## Coronary Stents
CORONARY STENT SPECIALITY SHEET (Prostheses List, August 2006 - Effective 30th November 2006)
| Please Note: Items with gaps generally have low utilisation on a national basis | [7 empty] | Highlighted Items may attract a potential gap payment
| Billing Code | Sponsor | Product Name | Description | Size | Minimum Benefit | Maximum Benefit | Potential Gap | Suffix
DRUG ELUTING STENTS
| BS074 | Boston Scientific Pty Ltd | Taxus on Express2 Coronary Stent System Models 38001-0822 to 0840; 38001-1222 to 1250; 38001-1622 to 1650; 38001-2022 to 2050; 38001-2422 to 2450; 38001-2827 to 2850; 38001-3227 to 3250 | balloon expandable stent with conformal polymer/drug matrix coating, pre-mounted on high pressure monorail delivery catheter | Length 8 - 32mm; Diameter 2.25 - 5.0mm | 3484
| BS099 | Boston Scientific Pty Ltd | Taxus Liberte Paclitaxel-Eluting Coronary Stent System | 316L Stainless Steel Stent with Translute Polymer and Paclitaxel | 2.0mm-5.0mm & 8mm-32mm | 3350
| JJ302 | Johnson & Johnson Medical Pty Ltd | CYPHER Sirolimus-Eluting Stent & Delivery System Model CRS - 23300, 08225, 08250, 08275, 08300, 28225, 28250, 28275, 28300, 33225, 33250, 33275, 33300, 13225, 13250, 13275, 18225, 18250, 18275, 18300, 23225, 23250, 23275, 23350, 23400, 08350, 08400, 2835 | Stainless steel coronary stent with Rapamycin (an immunosuppressive and antiproliferative drug) bound to the stent struts | Diameter 2.25 - 5.0mm, length 8-33mm | 3484
| JJ481 | Johnson & Johnson Medical Pty Ltd | CYPHER SELECT Sirolimus-Eluting Stent & Delivery System | Stainless steel coronary stent with Sirolimus (an immunosuppressive and anti-proliferative drug) bound to the stent by a polymer. Model CRA-23300, 08225, 08250, 08275, 08300, 28225, 28250, 28275, 28300, 33225, 33250, 33275, 33300, 13225, 13250, 13275, 182 | Diameter 2.25 - 5.0mm, length 8 - 33mm | 3350
GENERAL PURPOSE BARE METAL STENTS
| AC022 | Atrium Australia-Pacific Rim Pty Ltd | Flyer RX Coronary Stent System | Stainless Steel Coronary Stent | Dia 2-5mm, Length 6-40mm | 780 | 1508 | 728
| AY012 | Abbott Australasia Pty Ltd | JoStent Coronary Stent Graft | Stainless Steel/PTFE | 9 - 26 mm x 2.5 - 5 mm | 3222 |  |  | Special Purpose Stents
| AY013 | Abbott Australasia Pty Ltd | JoStent F1 Coronary Stent | Stainless Steel | 9 - 26 mm x 2.5 - 4 mm | 780
| BS067 | Boston Scientific Pty Ltd | Symbiot Covered Stent System | A self-expending nitinol stent encased within an ePTFE covering, premounted on a Monorail delivery catheter | Stent lengths: 20, 31 & 45 mm Stent diameters: 4.0 & 5.0 mm | 1248 |  |  | Special Purpose Stents
| BS069 | Boston Scientific Pty Ltd | Express 2/Liberte Coronary Stent System, | Consists of a balloon expandable stent, pre-mounted on a Maverick 2 Monorail delivery catheter. | Stent lengths: 8,12,16,20,24,28 & 32 mm Stent diameters: 2.25, 2.5, 2.75, 3.0, 3.5, 4.0, 4.5 & 5.0 mm | 1248
| BT058 | Biotronik Australia Pty Ltd | Lekton Motion | Coated flexible stent, Balloon mounted | Diameter 2.5mm to 4mm, Length 8 - 30mm | 1248
| BT065 | Biotronik Australia Pty Ltd | Lekton Motion Mega | Amorphous silicon carbide coated | Diameter 4.5 and 5 mm; Length 13 - 40 mm | 1248
| BT069 | Biotronik Australia Pty Ltd | Lekton Motion Petite | Amorphous silicon carbide coated | Diameter 2, 2.25, 2.5mm; Length 8-20mm | 1248
| BT082 | Biotronik Australia Pty Ltd | PRO-Kinetic | Cobalth Chromium coronary stent system | 8-40mm length 2-5mm diameter | 1200
| GU102 | Guidant Australia Pty Ltd | Stents | ACS Multilink Coronary Stent; ACS Megalink Peripheral Stent; ACS RX Herculink Peripheral Stent. Stainless steel | 1.5mm - 8.0mm | 1248
| GU105 | Guidant Australia Pty Ltd | Multilink Coronary Stent System | Stainless Steel | Length 1.5mm - 8.0mm | 1248
| GU127 | Guidant Australia Pty Ltd | Multilink Coronary Stent System - Frontier | 316L Stainless steel stent | Length 1.5 - 8.0mm | 2496
| GU128 | Guidant Australia Pty Ltd | Multilink Coronary Stent System - Vision | Cobalt chrome stent | Length 1.5 - 8.0mm | 1248
| JJ026 | Johnson & Johnson Medical Pty Ltd | BX Velocity with Hepacoat System | Balloon expandable, stainless steel, heparin coated |  | 1220
| JJ200 | Johnson & Johnson Medical Pty Ltd | BX Velocity Stent and Delivery System | Stainless steel stent | Diameter: 2.25-5.0 mm; Length 8 - 33 mm | 1220
| JJ239 | Johnson & Johnson Medical Pty Ltd | BX Sonic | Stainless steel coronary stent mounted on a balloon delivery system | Dia 2.25 - 4.0mm, lengths 8 - 33mm | 1220
| MC197 | Medtronic Australasia Pty Ltd | Medtronic AVE S660 Coronary Stents, S670 Coronary Stents, S7 Coronary Stents, BeStent2, | Stainless Steel | S660 Coronary Stent - Diameter (2.5mm-2.75mm), Length (9mm-24mm); S670 & S7 Coronary Stent - Diameter (3mm-4mm), Length (9mm-30mm); BeStent2 - Diameter (2.5mm-4mm), Length (9mm-30mm); | 1144
| MC329 | Medtronic Australasia Pty Ltd | Medtronic Driver, Micro Driver Coronary Stent System | Cobalt Alloy | Driver Stent: diameter (2.25 - 4.5mm), length (8-30mm); Micro-Driver Stent: diameter (2.25 - 2.75mm), length (8 - 24mm) | 1248
| NM002 | Neich Medical Pty Ltd | Constant Rx Coronary Stent System | Stainless Steel Balloon Expandable Tubular Stent | Lengths - 9-32mm; Diameters - 2.5 - 4.0mm | 1040
| NM003 | Neich Medical Pty Ltd | R Stent Evolution 2 Coronary Delivery System | 316LVM Stainless Steel Balloon Expandable Stent (Tubular) | Lengths - 9-33mm; Diameters - 2.5-4.0mm | 1144
| PI003 | Pacing Importers Pty Ltd | Med-X-Flexy Stent | Tubular Stent, Stainless steel 316L, Gold markers | Dia 5 - 9mm length: 20 - 100mm | 780
| TU001 | Terumo Corporation Australia | Tsunami Gold Coronary Stent | Stainless Steel mounted on balloon catheter | Diameter 2.0mm - 4.0mm, Length 10mm - 30mm length | 1248
| ZY001 | Zynergy Medical Pty Limited | Carbostent | Coronary stent - includes Carbostent Syncro & Carbostent Sirius | Dia 2.5mm x Length 9, 12, 15, 19, 25mm; Dia 3.0mm x Length 9, 12, 15, 19, 25, 32mm; Dia 3.5mm x Length 9, 12, 15, 19, 25, 32mm; Diameter 4.0mm x Length 9, 12, 15, 19, 25, 32mm | 780 | 1482 | 702

## Pacemakers and Defibrillators
CARDIAC PACEMAKER AND DEFIBRILLATOR SPECIALTY SHEET (Prostheses List, August 2006 - Effective 30th November 2006)
| Please Note: Items with gaps generally have low utilisation on a national basis | [7 empty] | Highlighted Items may attract a potential gap payment
| Billing Code | Sponsor | Product Name | Description | Size | Minimum Benefit | Maximum Benefit | Potential Gap | Suffix
PACEMAKERS
SINGLE CHAMBER PACEMAKERS
Generation 1
| BT036 | Biotronik Australia Pty Ltd | PHILOS S Implantable Cardiac Pulse Generator Cat No 122 453 | Multiprogrammable SSI | One size only | 4264
| SJ019 | St. Jude Medical Australia Pty Ltd | REGENCY SC 2406L, SCX 2408L, SC 2407M/S | Single Chamber, Standard VVIC, IS-1/5-6mm | 8.6cc, 18.5-19gm | 4264 |  |  | Custom Header
| SJ020 | St. Jude Medical Australia Pty Ltd | REGENCY SC+ 2402L | Single Chamber, VVI, Autocapture, IS-1 | 8.6cc, 18.5gm | 4264
| SJ053 | St. Jude Medical Australia Pty Ltd | Verity Adx Model XL SC 5056 implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing device with extended longevity | 10.5cc, 23g | 4264
Generation 2
| SJ076 | St. Jude Medical Australia Pty Ltd | Verity Adx Model XL SR 5157 M/S implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing devices with extended longevity | 11cc, 23g | 5928
Generation 3
| BT028 | Biotronik Australia Pty Ltd | Philos SR Model 122459 Implantable Pacemaker | Multiprogrammable, rate responsive, SSIR | One size only | 5928
| BT030 | Biotronik Australia Pty Ltd | Philos SR-B Model 122610 Implantable Pacemaker | Multiprogrammable, rate responsive, SSIR | 5/6mm port, One size only | 5928
| BT046 | Biotronik Australia Pty Ltd | Protos VR/CLS | Single chamber rate responsive, closed loop system. | One size only | 5928
| BT062 | Biotronik Australia Pty Ltd | Philos II SR | Multiprogrammable, Rate Responsive, SSIR pacemaker | One size only | 5928
| BT080 | Biotronik Australia Pty Ltd | Cylos VR | single chamber dual sensor rate responsive | one size only | 5700
| GU124 | Guidant Australia Pty Ltd | Insignia Entra SR Models 1195 & 1198 | Single Chamber Rate Responsive Permanent Pacemaker | One size only | 5928
| GU126 | Guidant Australia Pty Ltd | Insignia Plus SR Model 1194 | Single Chamber Rate Responsive Permanent Pacemaker | One size only | 5928
| GU139 | Guidant Australia Pty Ltd | Insignia Ultra SR Lodel 1190 | Implantable Cardiac Pacemaker | One size only | 5928
| MC030 | Medtronic Australasia Pty Ltd | Medtronic Kappa 400 Pacemaker Model KSR401 | Titanium | 11.6cc, 11.7cc | 5616 |  |  | Custom Header
| MC242 | Medtronic Australasia Pty Ltd | Medtronic Kappa KSR 900 Model KSR 901,903, 906 | Cardiac Pacemaker, Titanium | 9.7,10.5,11.0 cc | 5928 |  |  | Custom Header
| MC321 | Medtronic Australasia Pty Ltd | EnPulse SR Series: Model E2SR01, Model E2SR03, Model E2SR06 | EnPulse SR - Pacemakers - with IS1 connector; with 3.2mm low profile connector; with 5mm connector. Titanium and silicone. | One size only | 6188
| MC330 | Medtronic Australasia Pty Ltd | Medtronic Kappa 400 Pacemaker Model KSR 403 | Titanium | 11.6cc, 11.7cc | 5616 |  |  | Custom Header
| MC728 | Medtronic Australasia Pty Ltd | Adapta Pacemaker | SR Pacemaker Models ADSR01, ADSR06, ADSR03 | 9.7 - 11.0cc 21.5 - 22.5g | 5950
| PG006 | Progressive Medical | Symphony SR | Titanium | one size only | 5928
| SJ022 | St. Jude Medical Australia Pty Ltd | REGENCY SR+ 2400L | Single Chamber, Rate Response, Autocapture, IS-1 | 8.6cc, 18.5gm | 5928
| SJ025 | St. Jude Medical Australia Pty Ltd | St Jude Medical Integrity SR5142 Pacemaker, Cardiac Implantable | Single chamber, rate responsive pacemaker | Volume 10.4cc, weight 23gm | 5928
| SJ027 | St. Jude Medical Australia Pty Ltd | St Jude Medical Microny II SR+ Model 2525T Pacemaker | Single Chamber Rate Responsive Pacemaker | Volume 5.9cc, Weight 12.8gm | 5928 |  |  | Small size (<7cc) for pacing in infants
| SJ029 | St. Jude Medical Australia Pty Ltd | Integrity Micro SR 5136 Pacemaker | Single Chamber Rate Responsive Pacemaker | Volume 8cc, weight 18gm | 5928
| SJ030 | St. Jude Medical Australia Pty Ltd | Identity SR 5172 | Single Chamber Rate Responsive Pacemaker | Volume 8cc, Weight 17gm | 5928
| SJ055 | St. Jude Medical Australia Pty Ltd | Integrity ADx Model SR 5160 implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing device | 8cc, 17g | 5928
| SJ060 | St. Jude Medical Australia Pty Ltd | Identity ADx Model SR 5180 implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing device | 8cc, 18g | 5928
| SJ077 | St. Jude Medical Australia Pty Ltd | Verity Adx Models XL SR 5156 implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing devices with extended longevity | 11cc, 23g | 5928
| SJ090 | St. Jude Medical Australia Pty Ltd | Victory SR 5610 | single chamber rate responsive pacemaker | 41x44x46mm 17g 8cc | 5700
DUAL CHAMBER PACEMAKERS
Generation 1
| BT026 | Biotronik Australia Pty Ltd | Philos D Model 122447 Implantable Pacemaker | Multiprogrammable, ventricula, rate responsive modes, DDDC | One size only | 5200
| GU079 | Guidant Australia Pty Ltd | Pulsar Model VDD 870 | Titanium | 3.2mm/IS-1 | 5200
| MC727 | Medtronic Australasia Pty Ltd | Adapta Pacemaker | DDD Pacemaker Models ADD01 | 12.1cc 27.1g | 5000 | 6500 | 1500
| SJ050 | St. Jude Medical Australia Pty Ltd | Verity ADx Model XL DC 5256 Dual - Chamber pacemaker | Dual Chamber multi-programmable rate-adaptive pacing devices with extended longevity | 11cc, 23.5g | 5200
| SJ061 | St. Jude Medical Australia Pty Ltd | Identity Adx Model XL DC 5286 Dual Chamber Pacemaker | Identity ADx Model XL DC Model 5286 is an implantable, multi-programmable rate-adaptive pacing device with AF suppression | 11cc, 23.5g | 5200
Generation 2
| BT027 | Biotronik Australia Pty Ltd | Philos SLR Model 122456 Implantable Pacemaker | Single pass, multiprogrammable, rate responsive, VDDR | One size only | 6760
| MC243 | Medtronic Australasia Pty Ltd | Medtronic Kappa KVDD 900 Model KVDD 901 | Cardiac Pacemaker, Titanium | 11.1cc | 6552
| MC319 | Medtronic Australasia Pty Ltd | EnPulse VDD; Model E2VDD01 | EnPulse VDD pacemaker with IS1 connector. Titanium silicone | One size only | 6760
| MC713 | Medtronic Australasia Pty Ltd | Adapta Pacemaker | VDDR Pacemaker Models ADVDD01 | 11.1cc 23.6g | 6500
| SJ054 | St. Jude Medical Australia Pty Ltd | Identity ADx Model VDR 5480 implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing device with extended longevity | 8cc, 18g | 6760
| SJ057 | St. Jude Medical Australia Pty Ltd | Verity ADx Model XL VDR 5456 implantable pacemaker | Single Chamber multi-programmable rate-adaptive pacing device with extended longevity | 11cc, 23.5g | 6760
Generation 3
| BT024 | Biotronik Australia Pty Ltd | Philos DR Model 122450 Implantable Pacemaker | Multiprogrammable, rate responsive, DDDR | One size only | 9360
| BT029 | Biotronik Australia Pty Ltd | Philos DR-A Model 122600 Implantable Pacemaker | Multiprogrammable, rate responsive, DDDR | 5mm ports, One size only | 9360
| BT047 | Biotronik Australia Pty Ltd | Protos DR/CLS | Dual chamber, rate responsive, closed loop system. | One size only. | 9360
| BT060 | Biotronik Australia Pty Ltd | Philos II DR | Multiprogrammable, rate responsive, DDDR | One size only | 9360
| BT071 | Biotronik Australia Pty Ltd | Philos II DR-T | Dual Chamber Rate Responsive with Home Monitoring | One size only | 9000 | 10000 | 1000
| BT079 | Biotronik Australia Pty Ltd | Cylos DR-T | Dual chamber dual sensor rate responsive with home monitoring system option | one size | 9000 | 11000 | 2000
| GU120 | Guidant Australia Pty Ltd | Insignia Plus DR Model 1297, Insignia Plus DR Model 1298 | Dual Chamber Rate Responsive Permanent Pacemaker | One size only | 9360
| GU121 | Guidant Australia Pty Ltd | Insignia Entra DR Models 1294,1295,1296 | Dual Chamber Rate Responsive Permanent Pacemaker | One size only | 9360
| GU140 | Guidant Australia Pty Ltd | Insignia Ultra DR Model 1291 | Implantable Cardiac Pacemaker | One size only | 9360
| GU141 | Guidant Australia Pty Ltd | Insignia Ultra DR Model 1290 | Implantable Cardiac Pacemaker | One size only | 9360
| MC029 | Medtronic Australasia Pty Ltd | Medtronic Kappa 400 pacemaker Model KDR401 | Titanium | 13.9cc | 9048
| MC200 | Medtronic Australasia Pty Ltd | Medtronic A/Asia AT500 DDDRP Pacing System Model AT501 | Titanium, silicone | One size only, 14.9cc | 11440 |  |  | with Therapies for Atrial Tachyarrhythmias
| MC241 | Medtronic Australasia Pty Ltd | Medtronic Kappa Pacemaker Model KDR 933 | Cardiac Pacemaker, Titanium | 13.9cc | 9048 |  |  | Custom Header
| MC332 | Medtronic Australasia Pty Ltd | Medtronic Kappa Pacemaker KDR 903 and KDR 906 | Cardiac Pacemaker, Titanium | 13cc, 14.2cc | 9048 |  |  | Custom Header
| MC333 | Medtronic Australasia Pty Ltd | Medtronic Kappa Pacemaker Model KDR 901, KDR921 and KDR931 | Cardiac Pacemaker, Titanium | 12.1cc, 11.1cc, 13.1cc | 9048
| MC340 | Medtronic Australasia Pty Ltd | Medtronic Kappa 400 pacemaker Model KDR403 | Titanium | 13.9cc | 9048 |  |  | Custom Header
| MC360 | Medtronic Australasia Pty Ltd | EnRhythm | Model P150 1DR, Rate Responsive dual chamber pacemaker with Anti-Tachycardia functions: DDDRP | 21g, 13cc | 11440 |  |  | with Therapies for Atrial Tachyarrhythmias
| PG002 | Progressive Medical | Talent II DR Pacemaker Model 233 | Dula Chamber Pacemaker. 99% titanium | 57.5 x 37.2 x 8mm | 9360
| PG005 | Progressive Medical | Symphony DR 2550 | Active Implantable pacemaker | 1 size only | 9360
| SJ026 | St. Jude Medical Australia Pty Ltd | St Jude Medical Integrity AFX DR5346 Pacemaker, Cardiac, Implantable | Dual chamber, rate responsive pacemaker | Volume 11cc, weight 23.5gm | 9360
| SJ028 | St. Jude Medical Australia Pty Ltd | Integrity Micro DR 5336 Pacemaker | Dual Chamber Rate Responsive Pacemaker | Volume 8cc, Weight 18gm | 9360
| SJ031 | St. Jude Medical Australia Pty Ltd | Identity XL DR 5376 | Dual Chamber Rate Responsive Pacemaker | Volume 11cc, Weight 23.5gm | 9360
| SJ032 | St. Jude Medical Australia Pty Ltd | Identity DR 5370 | Dual Chamber Rate Responsive Pacemaker | Volume 8cc, Weight 18gm | 9360
| SJ051 | St. Jude Medical Australia Pty Ltd | Verity Adx Implantable Pacemaker, Models XL DR 5356 and XL DR 5357M/S | Dual - Chamber, multi-programmable, rate-responsive pacemaker withAF suppression | 45x52x6mm,11cc, 23g, 5mm or 6mm M/S | 9360
| SJ056 | St. Jude Medical Australia Pty Ltd | Integrity ADx Model DR 5360 and XL DR 5366 | Dual-Chamber, multi-programmable, rate-responsive pacemaker with AF suppression | Model DR 5360 - 8cc, 18g, Model XL DR 5366 - 11cc, 23.5g | 9360
| SJ059 | St. Jude Medical Australia Pty Ltd | Identity ADx Models DR 5380 and XL DR 5386 | Dual-Chamber, multi-programmable, rate-adaptive pacing devices with AF suppression | ADx DR 5380: 43x44x6mm, 18g and 8cc ADx XL DR 5386: 44x52x6mm, 23.5g and 11cc | 9360
| SJ089 | St. Jude Medical Australia Pty Ltd | Victory XL DR 5816 and DR 5810 | Dual Chamber Rate Responsive Pacemakers | 44x52x6mm; 23.5g; 11cc | 9000
Generation 4
| MC322 | Medtronic Australasia Pty Ltd | EnPulse DR Series: Model E2DR01, Model E2DR03, Model E2DR06, Model E2DR21, Model E2DR31, Model E2DR33 | EnPulse DDDR Pacemakers - with IS1 connector and normal battery size; with 3.2mm low profile connector and normal battery size; with 5/6 mm connector and normal battery size; with IS1 connector and small battery size; with IS1 connector and large battery | one size only | 11440
| MC726 | Medtronic Australasia Pty Ltd | Adapta Pacemaker | DR Pacemaker Models ADDR01, ADDRS1, ADDRL1, ADDR06, ADDR03 | 11.1-14.2cc 23.6g-31.3g | 11000
CRT PACEMAKERS
Generation 1
| GU143 | Guidant Australia Pty Ltd | Contak Renewal TR CRT -P Model H120, Model H125 | Implantable cardiac pacemaker | 45x54x8.5mm, 14cc, 26gm | 9360
| MC006 | Medtronic Australasia Pty Ltd | InSync model 8040 Stimulator | Titanium | 14.4cc | 9360
| SJ040 | St. Jude Medical Australia Pty Ltd | Frontier 3x2 Model 5510 | Biventricular Stimulation Device with AF suppression | Height 48mm, Length 52mm, Depth 6mm | 9360
Generation 2
| BT056 | Biotronik Australia Pty Ltd | Stratos LV | Multiprogrammable, Biventricular, DDDRV | One size only | 12480
| GU142 | Guidant Australia Pty Ltd | Contak Renewal TR2 CRT - P Model H140, Model H145 | Implantable Cardiac pacemaker | 45x54x8.5mm, 14cc, 26gm | 12480
| MC226 | Medtronic Australasia Pty Ltd | Medtronic Insync III Triple Chamber Pacemaker Model 8042 | Titanium | One size only | 12480
| SJ072 | St. Jude Medical Australia Pty Ltd | Frontier II - Model 5596 | Biventricular Cardiac Resynchronisation Device with AF suppression algorithm - Titanum | 49mm(h) x 52(1) x 6(t), 25g | 12480
IMPLANTABLE CARDIOVERTER DEFIBRILLATORS (ICDs)
SINGLE CHAMBER ICDs
Generation 1
| MC020 | Medtronic Australasia Pty Ltd | Medtronic Gem Model 7227Cx; Gem Model 7227 Implantable Cardioverter Defibrillator | Titanium | 49cc, 40cc | 34320 |  |  | High energy products
| MC237 | Medtronic Australasia Pty Ltd | Gem Model 7227B Implantable Cardioverter Defibrillator | Titanium, "B" Style Connector | 56cc | 33800 |  |  | Custom Header
| MC238 | Medtronic Australasia Pty Ltd | Gem Model 7227D Implantable Cardioverter Defibrillator | Titanium, "D" style connector | 53cc | 33800 |  |  | Custom Header
| MC239 | Medtronic Australasia Pty Ltd | Gem Model 7227EImplantable Cardioverter Defibrillator | Titanium, "E" style connector | 55cc | 33800 |  |  | Custom Header
| SJ058 | St. Jude Medical Australia Pty Ltd | St Jude Medical Australia Ventritex Contour MD Models V-175AC, V-175D and V- 175C Defibrillators/Cardioverters | Contour MD Models V - 175 AC, V-175C and V-175D Single chamber Defibrillators/Cardioverters | 57-65cc, 109 - 118g | 33462
Generation 2
| BT052 | Biotronik Australia Pty Ltd | Cardiac Airbag | Single chamber ICD rate responsive pacing. | One size only. | 15600 |  |  | Limited Functionality ICDs
| BT054 | Biotronik Australia Pty Ltd | Lexos VR | Single chamber ICD, Rate responsive pacing | One size only. | 36400
| MC201 | Medtronic Australasia Pty Ltd | Medtronic A/Asia Gem III VR Model 7231CX | Titanium | One size only, 39.2cc | 36400
| PG001 | Progressive Medical | Alto II VR Single Chamber ICD | Debrillator, implantable, automatic |  | 36400
Generation 3
| BT055 | Biotronik Australia Pty Ltd | Lexos A+ | Single chamber ICD, rate responsive pricing, dual chamber sensing. | One size only. | 40560
| GU110 | Guidant Australia Pty Ltd | Ventak Prizm II VR | Model 1860, titanium, single chamber, adaptive rate | One size only | 40560
| GU133 | Guidant Australia Pty Ltd | Vitality VR Model 1870 | This device acts to defibrillate the heart chambers when the patient enters into an arrhythmia or uses shocks or anti tachy pacing to revert Ventricular Tachycardia (VT) or Ventricular Fibrillation (VF). While also acting as a single chamber pacemaker. | Model 1870 Vitality VR Single Chamber Rate Responsive Pacemaker/Defibrillator | 40560
| GU148 | Guidant Australia Pty Ltd | Vitality 2 EL VR - Model T177 | Implantable Cardiac Defibrillator | 35cc 90g | 40560
| GU151 | Guidant Australia Pty Ltd | Vitality 2 VR - Model T 175 | Implantable cardiac defibrillator | 30cc; 82g | 40560
| MC253 | Medtronic Australasia Pty Ltd | Medtronic Marquis VR 7230CX Implantable Cardioverter Defibrillator | Titanium, Sterile, Single Chamber | Volume 36cc | 40560
| MC317 | Medtronic Australasia Pty Ltd | Maximo VR Model 7232Cx | Titanium | One size only 38.5cc | 42640 |  |  | High energy products
| MC365 | Medtronic Australasia Pty Ltd | EnTrust | Model D153VRC, Single chamber, 30J | 33cc, 63g | 40560
| MC366 | Medtronic Australasia Pty Ltd | EnTrust | Model D154VRC, Single chamber, 35J | 35cc, 68g | 42640 |  |  | High energy products
| MC722 | Medtronic Australasia Pty Ltd | Virtuoso | VR Model Implantable Cardioverter Defibrillator, Single Chamber | 37cc, 68g | 41000 |  |  | High energy products
| SJ010 | St. Jude Medical Australia Pty Ltd | Photon Micro VR Model V-194 Defibrillators/Cardioverters |  | 36cc | 40560
| SJ012 | St. Jude Medical Australia Pty Ltd | Atlas VR Model V-199 | Single chamber implantable cardioverter defibrillator with rate response | 36cc | 42588 |  |  | High energy products
| SJ048 | St. Jude Medical Australia Pty Ltd | Epic Plus VR Model V-196 Implantable Cardioverter Defibrillator | Single Chamber sensing and bradycardia pacing | 32cc | 40560
| SJ065 | St. Jude Medical Australia Pty Ltd | Atlas + VR Model V-193 ICD | Single chamber implantable cardio-verter defibrillator | 38cc, 77g | 42640 |  |  | High energy products
| SJ066 | St. Jude Medical Australia Pty Ltd | Atlas + VR - C Model V-193C ICD | Single chamber implantable cardio-verter defibrillator | 38cc, 77g | 42640 |  |  | High energy products
DUAL CHAMBER ICDs
Generation 1
| MC019 | Medtronic Australasia Pty Ltd | Medtronic Gem DR Model 7271 | Titanium | 62cc | 36400 |  |  | High energy products
Generation 2
| GU107 | Guidant Australia Pty Ltd | Ventak Prizm HE DR | Model 1853 & Model 1858, titanium, dual chamber, adaptive rate | One size only | 40560 |  |  | High energy products
| MC202 | Medtronic Australasia Pty Ltd | Medtronic Gem III DR Model 7275 Implantable Cardioverter Defibrillator | Titanium | One size only, 39.5cc | 38480
| MC227 | Medtronic Australasia Pty Ltd | Medtronic Gem III AT Model 7276 Implantable Cardioverter Defibrillator | Titanium | 39.5cc | 40560 |  |  | with Therapies for Atrial Tachyarrhythmias
| PG004 | Progressive Medical | Alto II DR Dual Chamber Implantable Cardioverter Defibrillator |  | One size only | 38480
| SJ009 | St. Jude Medical Australia Pty Ltd | Photon Micro DR Model V-232 Defibrillators/Cardioverters |  | 37cc | 38480
Generation 3
| BT053 | Biotronik Australia Pty Ltd | Lexos DR | Dual chamber ICD, rate responsive pacing. | One size only. | 43680
| BT074 | Biotronik Australia Pty Ltd | Xelos DR-T | High energy ICD with home monitoring | Packed in one small size | 44000
| BT075 | Biotronik Australia Pty Ltd | Lumos VR-T | Single Chamber ICD with home monitoring and IEGM online | one size only | 39000
| GU111 | Guidant Australia Pty Ltd | Ventak Prizm II DR | Model 1861, titanium, dual chamber, adaptive rate | One size only | 43680
| GU132 | Guidant Australia Pty Ltd | Vitality DR Model 1871 | This device acts to defibrillate the heart chambers when the patient enters into an arrhythmia or uses shocks or anti tachy pacing to revert Ventricular Tachycardia (VT) or Ventricular Fibrillation (VF). While also acting as a dual chamber pacemaker. | Model 1871 Vitality DR Dual Chamber Rate Responsive Pacemaker/Defibrillator | 43680
| GU137 | Guidant Australia Pty Ltd | Vitality AVT | Dual chamber defibrillator, with atrial and ventricular therapy | One size only | 45760 |  |  | with Therapies for Atrial Tachyarrhythmias
| GU149 | Guidant Australia Pty Ltd | Vitality 2 DR - Model T165 | Implantable Cardiac Defibrillator | 30cc ; 82g | 43680
| GU150 | Guidant Australia Pty Ltd | Vitality 2 EL DR - Model T167 | Implantable cardiac Defibrillator | 35cc ; 90g | 43680
| GU157 | Guidant Australia Pty Ltd | Vitality AVT - Model A155 | Implantable cardiac defibrillator with both Atrial and Ventricular tachyarrhythmia therapy | 30cc | 45760 |  |  | with Therapies for Atrial Tachyarrhythmias
| MC245 | Medtronic Australasia Pty Ltd | Marquis DR Model 7274 Implantable Cardioverter Defibrillator | Titanium | 36cc | 43680
| MC318 | Medtronic Australasia Pty Ltd | Maximo DR Model 7278 | Titanium | One size only 38.9cc | 45760 |  |  | High energy products
| MC349 | Medtronic Australasia Pty Ltd | Entrust | Model D 153ATG, Dual chamber, AT Therapies, 30J | 33cc, 63g | 45760 |  |  | with Therapies for Atrial Tachyarrhythmias
| MC358 | Medtronic Australasia Pty Ltd | Intrinsic | Model 7287, Implantable Cardioverter Defibrillator | 36cc, 75g | 43680
| MC362 | Medtronic Australasia Pty Ltd | EnTrust | Model D154DRG, dual chamber, VT Therapies, 35J | 35cc, 68g | 45760 |  |  | High energy products
| MC363 | Medtronic Australasia Pty Ltd | EnTrust | Model D153DRG, Dual chamber, VT Therapies, 30J | 33cc, 63g 33cc, 63g | 43680
| MC364 | Medtronic Australasia Pty Ltd | EnTrust | Model D154ATG, Dual chamber, AT Therapies, 35J | 35cc, 68g | 45760 |  |  | with Therapies for Atrial Tachyarrhythmias
| MC721 | Medtronic Australasia Pty Ltd | Virtuoso | DR Model Implantable Cardioverter Defibrillator, Dual Chamber | 37cc, 68g | 44000 |  |  | with Therapies for Atrial Tachyarrhythmias
| SJ011 | St. Jude Medical Australia Pty Ltd | Atlas DR Model V-240 | Dual chamber implantable cardioverter defibrillator with rate response | 37cc | 45630 |  |  | High energy products
| SJ049 | St. Jude Medical Australia Pty Ltd | Epic Plus DR Model V-236 Implantable Cardioverter Defibrillator | Dual Chamber sensing, bradycardia pacing with atrial fibrillation suppression | 33cc | 43680
| SJ063 | St. Jude Medical Australia Pty Ltd | Atlas DR Model V-242 ICD | Implantable Dual Chamber Cardio-verter Defibrillator | 38cc/78g | 45760 |  |  | High energy products
| SJ068 | St. Jude Medical Australia Pty Ltd | Atlas + DR Model V-243 ICD | Implantable Dual Chamber Cardio-verter Defibrillator | 38cc, 78g | 45760 |  |  | High energy products
| SJ070 | St. Jude Medical Australia Pty Ltd | Epic + DR Model V-233 ICD | Dual Chamber Implantable Cardio-verter Defibrillator | 33cc 70g | 43680
| SJ071 | St. Jude Medical Australia Pty Ltd | Epic + DR Model V-239 ICD | Dual chamber implantable cardio-verter defibrillator | 33cc 70g | 43680
CRT ICDs
Generation 1
| BT081 | Biotronik Australia Pty Ltd | Kronos LV-T | CRT ICD with home monitoring | one size | 39000 | 44000 | 5000
| MC252 | Medtronic Australasia Pty Ltd | Medtronic InSync Marquis Implantable Cardioverter Defibrillator Model 7277 | Titanium | Volume 38cc | 40560
Generation 2
| GU134 | Guidant Australia Pty Ltd | Contak Renewal 2 | This device acts to defibrillate the heart chambers when the patient enters into an arrhythmia or uses shocks or anti tachy pacing to revert Ventricular Tachycardia (VT) or Ventricular Fibrillation (VF). While also acting as a biventricular pacemaker. | One Size Only | 45760
| GU144 | Guidant Australia Pty Ltd | Contak Renewal 4 HE CRT-D Model H197, Model H199 | Implantable dual-chamber defibrillator | one size only | 47840 |  |  | High energy products
| GU147 | Guidant Australia Pty Ltd | Contak Renewal 4 CRT-D Model H190, Model H195 | Implantable dual-chamber defibrillator | One size only | 45760
| GU154 | Guidant Australia Pty Ltd | Contak Renewal 4 AVT CRT -D - Model M170 and M175 | Implantable Cardioverter Defibrillator with Cardiac Resynchronisation Therapy | 37cc; 89g | 50960 |  |  | With therapies for Atrial Tachyarrhythmia
| GU155 | Guidant Australia Pty Ltd | Contak Renewal 4 AVT HE CRT - D - Model M177, M179 | Implantable Cardioverter Defibrillator with cardiac resynchronisation Therapy | 40cc; 89g | 52000 |  |  | With therapies for Atrial Tachyarrhythmia
| MC306 | Medtronic Australasia Pty Ltd | InSync III Marquis Model 7279 | Titanium | One size only - Volume 38cc | 45760
| MC325 | Medtronic Australasia Pty Ltd | InSync Sentry Model 7298 | Defibrillator, Titanium | 40cc | 52000 |  |  | High energy products
| MC700 | Medtronic Australasia Pty Ltd | InSync Maximo | Model 7304 | 40cc, 35J | 46000 |  |  | High energy products
| MC720 | Medtronic Australasia Pty Ltd | Concerto CRT-D | Implantable Cardioverter Defibrillator with Cardiac Resynchronisation Therapy | 38cc | 50000 |  |  | High energy products
| SJ062 | St. Jude Medical Australia Pty Ltd | Epic HF Model V-339 Implantable Cardiac Defibrillator | Cardioverter/defibrillator with dual chamber (atrial and RV) sensing and bradycardia pacing with ventricular resynchronisation | One size only | 45630
| SJ064 | St. Jude Medical Australia Pty Ltd | Atlas + HF Model V - 341 ICD - Defibrillator, Implantable, automatic, dual-chamber | Atlas + HF ICD is a cardioverter defibrillator with dual chamber (atrial and RV) sensing and bradycardia Pacing with ventricular resynchronisation therapy. | 40cc/81g | 47840 |  |  | High energy products
| SJ067 | St. Jude Medical Australia Pty Ltd | Epic + HF Model V-350 ICD | Epic + HF V-350 ICD is a cardioverter defibrillator with dual chamber (atrial and RV) sensing and bradycardia pacing with ventricular resynchronisation therapy. | 36cc / 73g | 45760
Generation 3
| BT076 | Biotronik Australia Pty Ltd | Lumos DR-T | Dual Chamber ICD with home monitoring | one size only | 42000 | 44000 | 2000
| MC359 | Medtronic Australasia Pty Ltd | Intrinsic | Model 7288, Implantable Cardioverter Defibrillator | 38cc, 76g | 45760 |  |  | High energy products
ICD & PACEMAKER LEADS
ICD LEADS
Group 1 - Coronary Sinus Leads
| MC026 | Medtronic Australasia Pty Ltd | Medtronic Transvene SVC Lead Model 6937; | Model 6937-35, Model 6937-52, Model 6937-58, Model 6937-110; Silicone; | 35 - 110cm x 660mm | 2340
Group 2 - Subcutaneous Leads
| GU123 | Guidant Australia Pty Ltd | Endotak SQ Array XP Lead Model 0085 | Endotak SQ Array XP Lead Model 0085 is used in addition to an Endotak endocardial leads for patients with a high DFT (Defibrillation Threshold) | 70 cm | 4680
| MC251 | Medtronic Australasia Pty Ltd | Implantable Subcutaneous Defibrillator Lead Model 6996SQ 41cm, 58cm, 85cm | Silicone and Platinum Alloy | Lengths 41-85cm inclusive | 4680
Group 4 - Transvenous/Non steroid/Passive Leads
| BT050 | Biotronik Australia Pty Ltd | KAINOX A+ | ICD Lead, Single Pass. | Atrial ring spacing 15, 17cms. | 7280
| BT057 | Biotronik Australia Pty Ltd | Kentrox SL | ICD Lead, Single Lead | 65, 75 or 100cm length. Tip to second shock coil 16cm or 18cm. | 7280
| PG003 | Progressive Medical | Swift 4040 1CT lead |  | length 58 cm - 69 cm | 7280
Group 5 - Transvenous/Steroid/Passive Leads
| BT077 | Biotronik Australia Pty Ltd | Kentrox SL steriod | Dual shock coil fractal steroid eluting passive fixation electrode | 65, 75cm lengths | 9000
| BT078 | Biotronik Australia Pty Ltd | Kentrox RV Steroid | single shock coil fractal steroid eluting passive fixation electrode | 65, 75 cm lenghts | 9000
| GU112 | Guidant Australia Pty Ltd | Endotak Reliance S Lead | Model 0127 & Model 0128, defibrillation lead, 9fr introducer (silicone coated), steroid eluting, high impedence | 59cm, 64cm | 7488
| GU115 | Guidant Australia Pty Ltd | Endotak Reliance Lead | Model 0147, Model 0148 & Model 0149, defibrillation lead, 9fr introducer (silicone coated), steroid eluting, high impedence | 59cm, 64cm, 90cm | 7488
| GU158 | Guidant Australia Pty Ltd | Endotak Reliance SG Passive Fixation Lead | Endotak Reliance SG Passive Fixation Lead: Models 0170, 0171, 0172, and 0173 Implantable cardioverter defibrillator lead with GORE ™ ePTFE covered coils. | 54cm - 90cm | 7200 | 10000 | 2800
| GU159 | Guidant Australia Pty Ltd | Endotak Reliance G Passive Fixation Lead | Endotak Reliance G Passive Fixation Lead: Models 0174, 0175, 0176 and 0177. Implantable Cardioverter defibrillator lead with GORE ™ ePTFE covered coils | 54cm -90cm | 7200 | 10000 | 2800
| MC002 | Medtronic Australasia Pty Ltd | Medtronic Sprint Quattro Lead Model 6944RV/SVC 65cm; Model 6944RV/SVC 75cm; or Model 6944RV/SVC 100cm; Medtronic Sprint Quattro Lead Model 6944RV/SVC 58cm | Silicone and polyurethane | 65-100cm | 9360
| MC018 | Medtronic Australasia Pty Ltd | Medtronic Sprint Lead Model 6942RV/SVC | Model 6942-65, Model 6942-75, Model 6942-100; Silicone | 65 - 100cm | 7488
| MC025 | Medtronic Australasia Pty Ltd | Medtronic Sprint Lead Model 6932RV | Model 6932-65, Model 6932-75, Model 6932-100; Silicone | 65 - 100cm | 7488
| MC696 | Medtronic Australasia Pty Ltd | Sprint Fidelis Lead | Model 6948, dual-coil, tined | 58-100cm | 10000
| MC698 | Medtronic Australasia Pty Ltd | Sprint Fidelis Lead | Model 6930, single-coil, tined | 58-100cm | 10000
| SJ016 | St. Jude Medical Australia Pty Ltd | Riata Transvenous Tachyarrhythmia Lead Model 1570, Model 1571 | Quadripolar, dual-coil, steroid eluting, active fixation tachyarrhythmia leads | One size only | 10400
| SJ083 | St. Jude Medical Australia Pty Ltd | Riata Transvenous Tachyarrhythmia Lead Model 1572 | Tri-polar Passive-Fixation, Steroid Eluting, Single Shock Coil Tachyarrhythmia Lead | 60cm, 65cm, 8F introducer | 10000
| SJ085 | St. Jude Medical Australia Pty Ltd | Riata iTransvenous Tachyarrhythmia Leads Models 1560 and 1561 | Passive Fixation, Steroid-Eluting, Dual Shock Coil Defibrillation Lead | 60cm, 65cm, 70cm, 8F introducer | 10000
| SJ086 | St. Jude Medical Australia Pty Ltd | Riata i Transvenous Tachyarrhythmia Lead Model 1562 | Passive Fixation, Steroid Eluting, Single Shock Coil Defibrillation Lead | 60cm, 65cm, 70cm, 8F introducer | 10000
Group 6 - Transvenous/ Steroid/Active Leads
| BT064 | Biotronik Australia Pty Ltd | Kentrox SL-S steroid | Fractal coated steroid electrode, dual shock coil | 16 and 18 cms tip to second shock coil | 7488
| BT068 | Biotronik Australia Pty Ltd | Kentrox RV-S steroid | Fractal coated steroid electrode, single shock coil | 65cm lengths | 7488
| GU118 | Guidant Australia Pty Ltd | Endotak Endurance EZ Leads Model 0154, Model 0155, Model 0156 | Defibrillation lead, steroid eluting, trilumen lead body contains one conductor for pacing/sensing and two conductors for defibrillation. The helix is composed of platinum iridium. | 64, 70, 100cm | 7488
| GU145 | Guidant Australia Pty Ltd | Endotak Reliance G Lead Model 0164, Model 0165, Model 0166, Model 0167 | Implantable defibrillator/pacemaker lead | Lead Lengths: 59 - 90cm | 11440
| GU146 | Guidant Australia Pty Ltd | Endotak Reliance SG Lead Model 0160, Model 0161, Model 0162, Model 0163 | Implantable defibrillator/pacemaker lead | Lead Lengths: 59 - 90cm | 11440
| GU160 | Guidant Australia Pty Ltd | Endotak Reliance Active Fixation Lead | Endotak Reliance Active Fixation Lead: Models 0157, 0158 and 0159 Implantable cardioverter defibrillator lead | 54cm - 90cm | 7200
| GU161 | Guidant Australia Pty Ltd | Endotak Reliance S Active Fixation Lead | Endotak Reliance S Active Fixation Lead: Models 0137, 0138 and 0139 | 54cm - 90cm | 7200
| GU163 | Guidant Australia Pty Ltd | ENDOTAK RELIANCE G Lead 018 Series | Endotak Reliance G Lead: Models 0184 to 0187. Implantable cardioverter defribrillator lead. Active fixation. | 59-90cm | 7200 | 11000 | 3800
| GU164 | Guidant Australia Pty Ltd | ENDOTAK RELIANCE SG Lead 018 Series | Endotak Reliance SG Lead: Models 0180 to 0183. Implantable cardioverter defibrillator lead. Active fixation. | 59-90cm | 7200 | 11000 | 3800
| MC208 | Medtronic Australasia Pty Ltd | Medtronic Sprint Quattro Secure Lead Model 6947 58cm; Model 6947 65cm; Model 6947 75cm; Model 6947 100cm | Leads, Defibrillator, Implantable, Silicone, polyurethane, platinized tantalum coils, steroid eluting tip | 58-100cm | 9360
| MC331 | Medtronic Australasia Pty Ltd | Medtronic Sprint Lead Model 6943 | Model 6943-58, Model 6943-65, Model 6943-75, Model 6943-100; Silicone | 58 - 100cm | 7488
| MC341 | Medtronic Australasia Pty Ltd | Medtronic Sprint Lead Model 6945 | Model 6945-58, Model 6945-65; Silicone, Model 6945-75, Model 6945-100; Silicone | 58 - 100cm | 7488
| MC695 | Medtronic Australasia Pty Ltd | Sprint Fidelis Lead | Model 6949, dual-coil, screw-in | 58-100cm | 10000
| MC697 | Medtronic Australasia Pty Ltd | Sprint Fidelis Lead | Model 6931, single-coil, screw-in | 58-100cm | 10000
| SJ074 | St. Jude Medical Australia Pty Ltd | Riata Transvenous tachyarrhythmia Leads Model 1582 | Tri-polar Active - Fixation, Steroid-Eluting, Single shock Coil Tachyarrhythmia; Lead | 60cm, 65cm, 8F introducer | 10400
| SJ075 | St. Jude Medical Australia Pty Ltd | Riata Transvenous Tachyarrhythmia Lead Model 1580, Model 1581 | Quadripolar, dual-coil, steroid eluting, active fixation tachyarrhythmia leads | One size only | 10400
| SJ081 | St. Jude Medical Australia Pty Ltd | Riata i Transvenous Tachyarrhythmia Leads Model 1590/1591 | Active fixation leads, Steroid Eluting, Dual Shock Coil Defibrillation Lead | 60cm, 65cm, 75cm, 8F introducer | 10000
| SJ084 | St. Jude Medical Australia Pty Ltd | Riata i Transvenous Tachyarrhythmia Lead Model 1592 | Active Fixation, Steroid Eluting, Single Shock Coil Defibrillation Lead | 60cm, 65cm, 75cm, 8F introducer | 10000
Group 7 - Epicardial Patches
| MC027 | Medtronic Australasia Pty Ltd | Model 6721 Unipolar Epicardial Patch Leads S/M/L | Model 6721S-50, Model 6721M-50, Model 6721L-50; Silicone | 370, 660, 840mm | 2340
PACEMAKER LEADS
Group 1 - Non-transvenous, Bi-Polar, Steroid
| MC011 | Medtronic Australasia Pty Ltd | Capsure EPI steroid eluting bipolar epicardial lead Model 4968 - ventricle | Silicone | 25 - 60cm | 1716
Group 2 - Non-transvenous, Uni-Polar, Steroid
| MC053 | Medtronic Australasia Pty Ltd | Capsure EPI steroid eluting unipolar epicardial lead Model 4965 ventricle | Silicone | 25 - 50cm | 1544
Group 3 - Non-Transvenous, Uni-Polar, Non-Steroid
| GU037 | Guidant Australia Pty Ltd | Myocardial Pacing Lead | Model 4312 and 4316 | 54cm and 35cm | 1144
| MC009 | Medtronic Australasia Pty Ltd | Medtronic Epicardial Pacing Leads IS-1 Model 5071 | Silicone | 35 - 53cm | 1144
Group 4 - Transvenous, Uni-Polar, Passive, Steroid, Right Ventricular/Atrial
| MC254 | Medtronic Australasia Pty Ltd | CapSure Sense pacemaker lead Models 4073 | Titanium Nitride | 30 - 85cm | 1248
| SJ078 | St. Jude Medical Australia Pty Ltd | IsoFlex S, Models 1645K, 1643K, 1635K | Endocardial, Steroid Eluting, Silicone, Passive Fixation Leads with Fast-Pass Coating | 34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F | 1200
Group 5 - Transvenous, Uni-Polar, Passive, Non- Steroid, Left Ventricular
| MC037 | Medtronic Australasia Pty Ltd | Medtronic Attain Cardiac Vein Pacing Lead Model 2187; Medtronic Coronary Sinus Pacing Lead Model 2188; Medtronic Attain SD Model 4189; Medtronic Attain Side-Wire Model 4191 | Polyurethane; 4 FR Polyurethane, 5 FR Electrode Tip, Kit Includes: Stylet x 3, Valve lifter, Attain Lead & Anchoring Sleeve; 4 FR Polyurethane Body, 6.1FR Electrode Tip | 58 - 75cm: 85cm/75cm/110cm or 75-110cm; 75cm/85cm | 2735
| SJ033 | St. Jude Medical Australia Pty Ltd | Aescula LV Model 1055K | Left Ventricular Pacing Lead | 75cm | 2735
Group 6 - Transvenous, Uni-Polar, Passive, Steroid, Left Ventricular
| BT070 | Biotronik Australia Pty Ltd | Corox OTW UP Steroid | Coronary Sinus Lead | 77, 87cm | 3000
| GU056 | Guidant Australia Pty Ltd | Easytrak Lead | Model 4510, Model 4511, Model 4512 Transvenous Coronary Sinus Lead | 65cm, 72cm, 80cm | 3120
| GU152 | Guidant Australia Pty Ltd | Easytrak IS-1 Lead, Models 4535 to 4538 | Implantable left ventricular pacemaker lead | 80 - 90cm | 3120
| MC225 | Medtronic Australasia Pty Ltd | Attain Over the Wire Model 4193 | Titanium, polyurethane | 78-88cm | 3120
| SJ079 | St. Jude Medical Australia Pty Ltd | QuickSite Model 1056K | Unipolar, Steroid Eluting, Titanium Nitride Electrode, Guidewire/Stylet-placed Left Heart Lead with Fast-Pass Coating | 75cm, 6F and 86cm, 6F | 3000
Group 7 - Transvenous, Bi-Polar, Passive, Non-Steroid, Right Ventricular/Atrial
| BT009 | Biotronik Australia Pty Ltd | SL Tripolar Lead - SL60/130, BP,SL60/150-BP, SL60/110-BP | Single pass lead | 130mm, 150mm, 110mm | 1040 |  |  | VDD Lead
| SJ013 | St. Jude Medical Australia Pty Ltd | Transvenous Superior Vena Cava Lead Model SV01, Transvenous Superior Vena Cava Lead Model SV02, Transvenous Superior Vena Cava Lead Model SV03 | TVL lead system models SV01, SV02, SV03 transvenous leads | SV01- 100cm; SV02 - 45cm; SV03 - 55cm | 7280
Group 8 - Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atrial
| BT066 | Biotronik Australia Pty Ltd | Selox ST | Transvenous Bipolar Passive Steroid Ventricular Pacing Lead, fractal coated | 53 and 60cm lengths | 1248
| BT067 | Biotronik Australia Pty Ltd | Selox JT | Fractal coated steroid electrode | 45 and 53cm lengths | 1248
| GU009 | Guidant Australia Pty Ltd | Fineline II Sterox IROX Lead | Model 4458, Model 4459 | 52cm, 58cm | 1248
| GU011 | Guidant Australia Pty Ltd | Fineline II Sterox IROX Lead | Model 4456, Model 4457 | 52cm, 58cm | 1248
| GU012 | Guidant Australia Pty Ltd | Fineline II Sterox IROX Lead | Model 4479, Model 4480 | 45cm, 52cm | 1248
| GU023 | Guidant Australia Pty Ltd | Guidant Aust Selute Picotip Steroid Eluting Bipolar Lead | Model 4033, Model 4034, Model 4035, Model 4063, Model 4064 | 45cm , 52cm, 59cm | 1248
| GU028 | Guidant Australia Pty Ltd | Guidant Aust Selute Picotip VDD Lead | Model 4340, Model 4341, Model 4342 & Model 4343 |  | 1544 |  |  | VDD Lead
| MC010 | Medtronic Australasia Pty Ltd | Medtronic Capsure SP Novus Model 5092; Capsure SP Novus Lead Model 5592; Medtronic Capsure Model 4023 Lead; Medtronic Capsure Model 4024 Lead (med.dexamethasone) Medtronic Capsure Model 4523(MED) Medtronic Capsure Model 4524 Lead; Medtronic Capsure Model | Silicone Polyurethane | 45 -110cm | 1144
| MC052 | Medtronic Australasia Pty Ltd | Medtronic Capsure VDD2 Model 5038 AV Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 11.5cm, 13.5cm, 15.5cm | 1544 |  |  | VDD Lead
| MC229 | Medtronic Australasia Pty Ltd | Medtronic Capsure SP Novus Model 5594 Lead 30cm | Silicone, platinum | 30-100cm | 1144
| MC336 | Medtronic Australasia Pty Ltd | Medtronic Capsure Z Novus Model 5054 Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 45-58cm | 1248
| MC337 | Medtronic Australasia Pty Ltd | Medtronic Capsure Z Novus Model 5554 Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 45-58cm | 1248
| MC371 | Medtronic Australasia Pty Ltd | Medtronic Capsurefix Model 6940 Pacing Lead; Medtronic Tined IS-1 Model 4557M; Medtronic Capsurefix Model 4067/8/4568 Pacing Leads; Medtronic Capsurefix Model 5067 Pacing Leads; Medtronic Capsurefix Model 5068 Pacing Leads; Capsure SP Novus Pacing Lead | Silicone Polyurethane | 30 - 85cm | 1144
| MC372 | Medtronic Australasia Pty Ltd | CapSure Sense pacemaker lead Models 4074 & 4574 | Titanium Nitride | CapSure Sense Lead Model 4074 - 30cm to 85cm; CapSure Sense Lead Model 4574 - 30cm to 53cm | 1248
| SJ024 | St. Jude Medical Australia Pty Ltd | PASSIVE PLUS DX 1342T, 1343K, 1345K, 1346T | Single, passive fixation, steroid eluting, low polarisation lead; Models: Bipolar Atrial Lead, IS-1 Unipolar Atrial Lead, IS-1 Unipolar Ventricular Lead, IS-1 or Bipolar Ventricular Lead, IS-1 | 46-58cm | 1248
| SJ082 | St. Jude Medical Australia Pty Ltd | Isoflex S, Models 1646T, 1642T and 1636T | endocardial, Steroid Eluting, Silicone, Passive Fixation Pacing Leads with Fast-Pass Coating | 34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F, 120cm 8F | 1200
Group 9 - Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial
| BT063 | Biotronik Australia Pty Ltd | Selox SR | Lead, pacemaker, implantable, endocardial | 45, 53, 60cm length | 1248
| GU013 | Guidant Australia Pty Ltd | Fineline II EZ Sterox IROX Lead | Model 4472, Model 4473 & Model 4474 | 45cm, 52cm, 58cm | 1248
| GU016 | Guidant Australia Pty Ltd | Fineline II EZ Sterox IROX Lead | Model 4469, Model 4470 & Model 4471 | 45cm, 52cm, 58cm | 1248
| GU122 | Guidant Australia Pty Ltd | Flextend Lead Models 4086, 4087 & 4088 | Bipolar, steroid eluting, transvenous silicon pace/sense leads with an extendable/retractable active fixation for implantation into the atrium or ventricle | 45,52,59cm | 1248
| MC008 | Medtronic Australasia Pty Ltd | Medtronic Capsurefix Model 5568 Pacing Leads | Silicone Polyurethane | 30 - 85cm | 1144
| MC301 | Medtronic Australasia Pty Ltd | Model 3830 PACING LEADS | Active fixation pacemaker lead Composition: Insulation is polyurethane, Electrodes are Titanium Nitride coated Platinum, the screw is steriod-coated | 59 - 75 cm | 2600 |  |  | Catheter Delivered
| MC338 | Medtronic Australasia Pty Ltd | Medtronic Capsurefix Novus Model 5076 Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 45-85cm | 1248
| SJ023 | St. Jude Medical Australia Pty Ltd | TENDRIL SDX 1488T, 1388T | Single, Active Fixation, Steroid Eluting, Low Polarisation Lead, IS-1 | 46cm-58cm | 1248
| SJ073 | St. Jude Medical Australia Pty Ltd | Tendril SDX Models 1688T and 1688TC | Endocardial Steroid-Eluting Active Fixation Pacing Lead | 100cm, 25cm, 34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F | 1248
Group 11 - Transvenous, Bi-Polar, Passive, Steroid, Left Ventricular
| GU138 | Guidant Australia Pty Ltd | Easytrak 2, Model 4514,4515, 4516, 4517, 4518, 4519, 4520 | The Easytrak 2 lead is a dual electrode version of the Easytrak lead. The Easytrak 2 lead is a coronary sinus lead, steroid eluting, dual electrode, pace/sense lead. The lead provides chronic pacing and sensing of the left ventricle by placement in the |  | 6240
| GU153 | Guidant Australia Pty Ltd | Easytrak 2 Is-1 Lead - Models 4542, 4543 & 4544 | Implantable left ventricular pacemaker lead | 80 to 100cm | 6240
| GU156 | Guidant Australia Pty Ltd | Easytrak 3 Lead - Models 4521, 4522, 4523, 4524, 4525, 4526 and 4527 | Implantable left ventricular pacemaker lead | 80 to 100cm | 6240
| GU162 | Guidant Australia Pty Ltd | Easytrak 3 IS-1 Lead | Models 4548, 4549 and 4550. Silicone and polyurethane insulation and polyurethane protective sleeve | Sizes 80 to 100cm | 6240
| GU165 | Guidant Australia Pty Ltd | Acuity Steerable Lead | Steerable IS-1 bipolar CS LV Lead Models 4554, 4555, 4556 | 80cm, 90 cm, 100cm | 6000
| MC699 | Medtronic Australasia Pty Ltd | Attain OTW Model 4194 Lead | Model 4194 | 78cm, 88cm | 6000