## Cardiothoracic
CARDIOTHORACIC SPECIALTY SHEET (Prostheses List, August 2006 - Effective 30th November 2006)
| Please Note: Items with gaps generally have low utilisation on a national basis | [7 empty] | Highlighted Items may attract a potential gap payment
| Billing Code | Sponsor | Product Name | Description | Size | Minimum Benefit | Maximum Benefit | Potential Gap | Suffix
Group 1- Cardiothoracic Mechanical Valves
Group 1a - Ball Valve, Standard
| EL029 | Edwards Lifesciences Pty Ltd | SE SIL Ball Valve Aortic Models 1200/1260, SE SIL Ball Valve Mitral Model 6120 | Starr Edwards - Silastic Ball Valve. Composition: Stellite Alloy No. 21; Polytetrafluroethelyne; polypropylene cloth; Silicone rubber (contains 2% by weight barium sulphate for radiopacity) | 16mm-34mm | 3850
Group 1c - Bi-Leaflet, rotatable
| AB002 | Advanced Biomedical Pty Ltd | ATS medical open pivot heart valve model 500FA standard flexi-cuff aortic valve series, ATS medical open pivot heart valve model 500DM standard flexi-cuff mitral valve series | Pyrolythic Carbon, Double Velour Polyester, Titanium | 16-33mm | 5909
| AB064 | Advanced Biomedical Pty Ltd | ATS medical open pivot heart valve model 501DA advanced performance (AP) aortic valve series, ATS medical open pivot heart valve model 501DM advanced performance (AP) mitral valve series | Pyrolythic Carbon, Double Velour Polyester, Titanium | 16-33mm | 5909
| MC292 | Medtronic Australasia Pty Ltd | Advantage Heart Valve - Aortic Model A7760 | A7760 - Pyrolytic carbon, PET | Diameter 19-31 mm | 5909
| MC324 | Medtronic Australasia Pty Ltd | Advantage Supra Aortic Heart Valve | Mechanical Heart Valve Pyrolite Carbon leaflets Pyrolite carbon ring | Diameter (mm): 19 - 25 | 5909
| RH001 | Reid Healthcare | Aortic On-X Prosthetic Heart Valve Models ONXA-19; ONXA-21; ONXA-23; ONXA-25; ONXA-27/29; ONXM-23; ONXM-25; ONXM-27/29; ONXM31/33; ONXMC25/33 |  | 27-29mm, 19mm, 21mm, 23mm, 25mm, 25-33mm, 27-29mm, 31-33mm, 23mm, 25mm | 5500
| SJ037 | St. Jude Medical Australia Pty Ltd | St Jude Medical Aortic Expanded Cuff Heart Valve; St Jude Medical Aortic Hemodynamic Plus Cuff Heart Valve; St Jude Medical Mitral Hemodynamic Plus Cuff Heart Valve; St Jude Medical Mechanical Heart Valve Masters Series | Aortic Expanded Cuff, Aortic Hemodynamic Plus Cuff, Mitral Hemodynamic Cuff, Aortic & Mitral Rotatable Cuff | Aortic Expanded 19 -31mm, Aortic Hemodynamic 17 - 27mm, Mitral Hemodynamic 17 -27mm, Rotatable 17 - 33mm | 5909
| SJ039 | St. Jude Medical Australia Pty Ltd | St Jude Medical Regent Prosthetic Heart Valves | Standard Cuff - Model 17AGN-751 - 29AGN-751, Flex Cuff - Model 17AGFN-756 - 29AGFN-756 | Standard cuff - 17-29mm, Flex cuff - 17-29mm | 5909
| TM003 | Tag Medical | Optiform | Mechanical Valve | 19mm to 33mm | 4950
Group 1e - Tilting Disc, rotatable
| HH001 | Hjorth Health Pty Limited | Omnicarbon 4000 4313 Aortic UPP | Pure pyrolitic carbon mono-leaflet prosthetic heart valve | Aortic - Sizes 19mm - 27mm; Mitral - Sizes 27mm - 33mm | 5000
| HH002 | Hjorth Health Pty Limited | Omnicarbon 4000 4523 Mitral UPP SupraAnnular | Pure pyrolitic carbon mono-leaflet prosthetic heart valve | Aortic - Sizes 19mm - 27mm; Mitral - Sizes 27mm - 33mm | 5000
Group 2 - Cardiothoracic Tissue Valves
Group 2a - Stented, porcine
| EL030 | Edwards Lifesciences Pty Ltd | CE Supra Annular Aortic Valve Model 2650 Carpentier-Edwards S.A.V Bioprosthesis Model 6650 Mitral Valve | Carpentier-Edwards SAV Bioprosthesis. Composition: Porcine Valve; Elgiloy Alloy; Silicone Rubber, Polytetrafluoroethylene | 19mm-33mm | 4350
| MC701 | Medtronic Australasia Pty Ltd | Mosaic Cinch, Aortic, Mitral | Models 305cxx, 310cxx | 19mm - 35mm | 4350
| SJ069 | St. Jude Medical Australia Pty Ltd | St Jude Medical Biocor Porcine Prosthetic Heart Valve | St Jude Medical Biocor Porcine Prosthetic Heart Valve is manufactured from selected porcine aortic valve cusps that have been cross-linked with a glutaraldehyde solution | Aortic Valves - Tissue Annulus Diameter - 21-29mm, Implant Height - 11-15c; Mitral Valves - Tissue Annulus Diameter - 25-35mm, Implant Height - 8-10mm | 4350
Group 2b - Stented, pericardial
| EL031 | Edwards Lifesciences Pty Ltd | Carpentier-Edwards Perimount Pericardial Bioprosthesis - Models 2900/6900 Carpentier-Edwards Perimount Plus Pericardial Bioprosthesis Mitral - Model 6900P | Carpentier-Edwards Pericardial Bioprosthesis. Composition: Bovine Pericardium; Elgiloy Alloy; Silicone Rubber, Polytetrafluoroethylene | Models 2900/6900 19-33mm, Model 6900P 25, 27, 29, 31, 33mm | 4900 | 5144 | 244
Group 2c - Non-Stented, porcine
| EL032 | Edwards Lifesciences Pty Ltd | Baxter Edwards Prima Plus Stentless Bioprosthesis Model 2500P Prosthetic Heart Valve | Edwards Prima Plus. Porcine Valve; Woven Polyester Cloth. | 19mm-29mm for pack of 7 items | 4600
| MC015 | Medtronic Australasia Pty Ltd | Freestyle bioprosthesis | Models 995xx, 995MSxx | 19 - 35mm | 5110
| SJ038 | St. Jude Medical Australia Pty Ltd | St Jude Medical Toronto SPV Valve Model SPA-101, St Jude Medical Bioimplant Heart Valve | Tissue Heart Valves, Bioimplant | TSPV: 21 - 29mm, Bioimplant Aortic: 21-27mm, Bioimplant Mitral: 27-32mm | 4800
Group 3 - Cardiothoracic Valve Conduits
Group 3a - Mechanical Valve
| AB001 | Advanced Biomedical Pty Ltd | ATS Medical open pivot aortic valved graft model 502AG | Pyrolythic Carbon, Double Velour Polyester, Titanium | 21-33mm | 6800
| MC198 | Medtronic Australasia Pty Ltd | Medtronic Hall rotatable aortic valved collagen impregnated conduit Model R7700 | Titanium, pyrolite, dacron | 20 - 33mm | 6800
| SJ036 | St. Jude Medical Australia Pty Ltd | St Jude Medical Coated Aortic Valved Graft | Coated Aortic Valved Graft | 21mm - 33mm | 6800
| TM002 | Tag Medical | CarboSeal Ascending Aortic Prosthesis, sterile, CarboSeal Ascending Aortic Prosthesis with Handle Model AP21, Model AP23, Model AP25, Model AP27, Model AP29, Model AP31, Model AP33, Carboseal Valsalva | Mechanical Conduit | AP 21-33mm, CP 21 - 33mm | 6800
Group 3b - Tissue Valve, stented porcine
| MC012 | Medtronic Australasia Pty Ltd | Medtronic Hancock Valved Conduit Model 100/150 | Porcine bioprosthesis, dacron | 12, 14, 16, 18, 20, 22, 25, 30mm. | 5750
Group 4 - Cardiothoracic Atrio-Ventricular Rings and Bands
Group 4a - Ring, Standard
| EL028 | Edwards Lifesciences Pty Ltd | Baxter Sterile Grafts, Implants & Prostheses, Non-Animal Origin Annuloplasty: Ring-Mitral Ring with Holder; Mitral Cosgrove-Edwards Annuloplasty System Model 4600; Classic Annuloplasty Ring-Tricuspid | Carpentier-Edwards Classic Annuloplasty Ring. Composition: Titanium Alloy; Silicone Rubber; Polyester Fabric Carpentier-Edwards Physio Annuloplasty Ring. Composition: Elgiloy Bands; Polyester Film Strips; Silicone Rubber; Polyester Cloth, Cosgrove-Edwards | 24mm-40mm | 2200
| MC005 | Medtronic Australasia Pty Ltd | Medtronic Duran Annuloplasty Ring; Duran Ancore Ring 620R; Duran Ancore Chordal Model 620RG | Annuloplasty Devices - Models 610R & 620R Silicone / Barium Sulphate, Dacron. | Model 610R 25-35mm & Model 620R 23-35mm | 1900
| SJ035 | St. Jude Medical Australia Pty Ltd | SJM Tailor Annuloplasty Ring | Fully Flexible | 25mm - 35mm | 2150
| TM001 | Tag Medical | AnnuloFlo Annuloplasty System | Annuloflex Ring or AnnuloFlo Ring | 26-36mm | 1600
Group 4b - Band, multiplanar
| EL049 | Edwards Lifesciences Pty Ltd | Edwards Etlogix Annuloplasty Ring | Titanium/silicon/dacron polyester cloth/plastic template Mitral valve annular repair device designed specifically for patients with Ischemic Mitral regurgitation | 24mm/26mm/28mm/30mm/32mm/34mmd | 2350
| EL050 | Edwards Lifesciences Pty Ltd | Edwards MC3 Tricuspid Annuloplasty System | Annuloplasty Ring, titanium/silicone/polyester velour cloth/plastic template | 26mm to 36mm in 2mm increment | 2350
| SJ087 | St. Jude Medical Australia Pty Ltd | St Jude Medical Rigid Saddle Ring | Rigid Annuloplasty Ring | 24 - 34mm | 2400
Group 4c - Band Standard
| MC709 | Medtronic Australasia Pty Ltd | Posterior Annuloplasty Band; Colvin - Galloway Future Band Model 638B; Duran Ancore Band 620B; Duran Ancore Chordal Model 620BG | Annuloplasty - Model 610B & 620B Silicone / Barium Sulphate, Dacron. Models 638B semi-regid metal alloy core, silicone coating, polyester knit fabric, kit includes-band, malleable handle, template with suture markers, sizers | Model 610B: 25-35mm; Models 620B & 620BG: 23-35mm, Model 638B - 26-38mm | 1900
| SJ088 | St. Jude Medical Australia Pty Ltd | SJM Tailor Annuloplasty Band | Flexible double-velour, polyester fabric | 25 - 35mm | 2150
Group 5 - Cardiothoracic Membranes and Patches
Group 5a - Tissue
| EL033 | Edwards Lifesciences Pty Ltd | Baxter Augmentation / Substitution Material, Human or Animal Origin, Sterile Pericardial Patch. | Edwards Pericardial Patch. Bovine Pericardium. | 10cm x 16cm | 740
Group 5b - Synthetic, Cardiovascular
| GT117 | W L Gore & Associates | Gore-Tex - Cardiovascular Patch | ePTFE | 0.4mm Thickness 2 x 9cm | 233
| GT118 | W L Gore & Associates | Gore-Tex - Cardiovascular Patch | ePTFE | 0.4mm - 3 x 6cm 0.6mm - 2.5cm x 15cm & 5cm x 7.5cm | 275
| GT120 | W L Gore & Associates | Gore-Tex Cardiovascular Patch | ePTFE | 0.6mm Thickness 5 x 15cm | 510
| GT121 | W L Gore & Associates | Gore-Tex Cardiovascular Patch | ePTFE | 0.6mm Thickness 10 x 15cm | 925
| GT126 | W L Gore & Associates | Acuseal Cardiovascular Patch Vascular | ePTFE | 0.5mm Thickness 1 x 9cm; 0.8 x 7.5cm | 217
| GT127 | W L Gore & Associates | Acuseal Cardiovascular Patch Cardiac | ePTFE | 0.5mm Thickness 3 x 6cm & 5 x 7.5cm | 264
Group 5c - Synthetic, Non-cardiovascular
| GT122 | W L Gore & Associates | Preclude Pericardial Membrane | ePTFE | 0.1mm Thickness 6 x 12cm | 353
| GT123 | W L Gore & Associates | Preclude Pericardial Membrane | ePTFE | 0.1mm Thickness 8 x 16cm | 630
| GT124 | W L Gore & Associates | Preclude Pericardial Membrane | ePTFE | 0.1mm Thickness 12 x 12cm | 732
| GT125 | W L Gore & Associates | Preclude Pericardial Membrane | ePTFE | 0.1mm Thickness 15 x 20cm | 1425
Group 7 - Cardiothoracic Assisted Fixation Devices
Group 7 - Cardiothoracic Assisted Fixation Devices
| MC714 | Medtronic Australasia Pty Ltd | U-Clips (Valve Repair) | Double Arm, Mitral Valve Repair | 2-packs | 500