## Urogenital
UROGENITAL SPECIALTY SHEET (Prostheses List, August 2006 - Effective 30th November 2006)
| Please Note: Items with gaps generally have low utilisation on a national basis | [7 empty] | Highlighted Items may attract a potential gap payment
| Billing Code | Sponsor | Product Name | Description | Size | Minimum Benefit | Maximum Benefit | Potential Gap | Suffix
Group 1- Urogenital - Incontinence Products
Group 1a - Incontinence: inflatable
| AM001 | American Medical Systems | AMS 800 Artificial Urinary Sphincter Cuff | Occlusive Cuff | Size: 4, 4.5, 5, 5.5, 6, 6.5, 7, 7.5, 8, 9, 10, 11cm | 2560
| AM002 | American Medical Systems | Acticon Artificial Bowel Sphincter Cuff | Occlusive Cuff | 9, 10, 11, 12, 13, 14cm (available in both 2.0cm & 2.9cm widths) | 3500
| AM021 | American Medical Systems | AMS 800 Artificial Urinary Sphincter Cuff | Silicone cuff for artificial urinary sphincter. For the implantation of the second cuff for the AMS 800. | 4.0cm - 11.0cm (increases in 0.5cm sizes) | 2560
| AM028 | American Medical Systems | AMS 800 Artificial urninary sphincter Pressure Regulating Balloon | Pressure Regulating Balloon | 51 - 60cm, 61 -70cm, 71 - 80cm | 2015
| AM029 | American Medical Systems | AMS 800 Artificial Urinary Sphincter Pump | Control Pump | One size | 4845
| AM030 | American Medical Systems | AMS 800 Artificial Urinary Sphincter Accessory Kit | Accessory Kit | One Size | 675
| AM031 | American Medical Systems | AMS 800 Artificial Urinary Sphincter Deactivation Package | Implantable plugs x 3 & straight connector | One Size | 132
| AM032 | American Medical Systems | Acticon Artificial Bowel Sphincter Pump | Control Pump | One Size | 6300
| AM033 | American Medical Systems | Acticon Artificial Bowel Sphincter Pressure Regulating Balloon | Pressure Regulating Balloon | 81-90cm, 91-100cm, 101-110cm, 111-120cm | 3500
| AM034 | American Medical Systems | Acticon Artificial Bowel Sphincter Accessory Kit | Accessory Kit | One Size | 675
| AM035 | American Medical Systems | Acticon Artificial Bowel Sphincter Deactivation Package | Implantable plugs x 3 & straight connector | One Size | 132
| MP001 | Medical Device Alliance Pty Ltd | Inflatable Periurethral Constrictor | Consists of a membrane, filler product and silicone tube | One size only | 1200
Group 1b - Incontinence: adjustable balloon
| MC323 | Medtronic Australasia Pty Ltd | Adjustable Continence Therapy for Women | ACT Device: Prosthesis designed for the treatment of female SUI comprising of a single silicone balloon attached via a conduit to titanium and rubber ports allowing for post operative adjustment. | 6,7,8 & 9cm | 4060
| MC327 | Medtronic Australasia Pty Ltd | Adjustable Continence Therapy device for women | ACT Device: prosthesis designed for the treatment of female SUI comprising of silicone balloons x 2 attached via a conduit to titanium and rubber ports allowing for post operative adjustment. | 6, 7, 8 & 9cm | 8000
| MC342 | Medtronic Australasia Pty Ltd | Adjustable Continence Therapy for Men | ProACT Device: prosthesis designed for the treatment of male SUI comprising of silicone balloons x2 attached via a conduit to titanium and rubber ports allowing for post operative adjustment. | 12 & 14cm | 8000
| MC368 | Medtronic Australasia Pty Ltd | Adjustable Continence Therapy for Men | ProACT Device: Prosthesis designed for the treatment of male SUI comprising of a single silicone balloon attached via a conduit to titanium and rubber ports allowing for post operative adjustment. | 12 & 14cm | 4060
Group 1c - Incontinence: sling, male, synthetic
| AM017 | American Medical Systems | InVance Male Sling System | Kit includes inserter with shaft, 6 bone screws with suture and silicone-coated sling surgical mesh | One Size | 5600
| ET050 | Endotherapeutics Pty Ltd | ARGUS | Adjustable Male Sling made of silicone adjustable self fixating columns and urethral cushion | One size only | 5500
Group 1e - Incontinence: sling, female, synthetic
| AM014 | American Medical Systems | Sparc Sling System | Polypropylene mesh sling, two needles with rotating handles, two cystoscopy aids | One size only | 850 | 920.95 | 70.95
| AM016 | American Medical Systems | In-Fast Kit and InteMesh Sling System | Items included in kit - inserter, 2 screws with sutures, silicone coated sling mesh | One size only | 850 | 3284.8 | 2434.8
| AM019 | American Medical Systems | MONARC Sling System | Product includes - mesh and two needles with handles attached | One Size Only | 850 | 990 | 140
| AM024 | American Medical Systems | BioArc TO Subfascial Hammock | sterile, single use procedure kit with two stainless steel curved needle passers and two y-mesh assemblies. Polypropylene. | One size | 850 | 990 | 140
| AM025 | American Medical Systems | BioArc SP Sling Kit | sterile, single use procedure kit with two stainless steel curved needle passers and two y-mesh assemblies. Polypropylene. | One size | 750
| AS093 | Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd | IVS Tunneller | Stainless steel tunneller and woven synthetic tape | One size only | 540
| AS111 | Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd | IVS Tunneller System | Consists of a tunneller, 2 stylets and one 50cm length of polypropylene mesh in a sterile blister pack | One size | 636
| AS112 | Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd | IVS Tunneller System | Consists of a tunneller, 2 stylets and two 50cm lengths of polypropylene mesh in a sterile blister pack. | One size | 789
| AS120 | Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd | IVS Tunneller-Intravaginal Tunneller System | IVS Tunneller System Trans Obuturator with two stylets and polypropylene mesh | 50 cm (mesh) | 850 | 950 | 100
| BS078 | Boston Scientific Pty Ltd | Advantage Transvaginal Mid-Urethral Sling System, Lynx Suprapubic Mid-Urethral Sling System, Obtryx Transoburator Mid-Urethral Sling System | Polypropylene smooth mesh material | One size only | 800
| BS096 | Boston Scientific Pty Ltd | Lynx Suprapubic Mid-Urethral Sling System | Polypropylene smooth mesh material | One size only | 800
| BS097 | Boston Scientific Pty Ltd | Obtryx Transoburator Mid-Urethral Sling System | Polypropylene smooth mesh material | One size only | 800
| DS001 | Southern Surgical Distribution Pty Ltd | Serasis TO Stress Incontinence system (Trans obturator approach) | Blue Polypropylene monofilament tape with looped edges. Tape only | 55 cm tape | 685
| ET043 | Endotherapeutics Pty Ltd | Safyre Autofixation System | Urinary incontenence sling made of polydimethysiloxane and polyproplene | One size only | 850
| GP001 | Gytech Pty Ltd | Cousin Biotech Intramesh L.I.F.T | Polypropylene Mesh | One size only | 540
| JJ070 | Johnson & Johnson Medical Pty Ltd | TVT (Tension-Free Vaginal Tape) Single use device | Undyed Prolene (polypropylene) nonabsorbable tape | 11 x 450mm | 850
| JJ442 | Johnson & Johnson Medical Pty Ltd | Gynecare TVT-O | Items included are: Gynecare TVT Obturator device, Two Gynecare TVT Helical Passers and a Gynecare TVT Atraumatic Winged Guide. The device component of the system consists of undyed or blue Prolene Polypropylene Mesh | 1.1x45 cm | 850
| JO009 | Jecoli Pty Ltd | T-Sling / Uromesh | Polypropylene Sling | 1.1 x 45cm | 540
| KV001 | Kvinno Centre Pty Ltd | Tissue Fixation System (TFS) |  | One Size Only | 540
| MN009 | Mentor Medical Systems | CINCH Bladder Neck Suspension Anchor | Anchor fixation device | 4mm Anchors | 540
Group 1f - Incontinence: sling, female, biological
| WC179 | William A Cook Aust Pty Ltd | Stratasis Urethral Sling | Urethral Sling for Urinary Incontinence constructed from Sub-Intestinal Submucosa (SIS) | Length 10cm, Width 2cm | 425
| WC180 | William A Cook Aust Pty Ltd | Stratasis Urethral Sling | Urethral Sling for Urinary Incontinence constructed from Sub-Intestinal Submucosa (SIS) | Length 30cm, Width 2cm | 690 |  |  | Paediatric
| WC215 | William A Cook Aust Pty Ltd | Stratasis-TF Urethral Sling Kit | Tension free sling made from SIS (sub-intestinal mucosa). One SIS sling with attached ligatures and two ligature carriers with removable handles | 2cm x 40cm | 1080
Group 1g - Incontinence: injectable, synthetic
| BA176 | Bard Australia Pty Ltd | Tegress | Endoscopic injectable, hydrophilic urethal bulking agent for female stress urinary incontinence | 2.8mm vial | 1490
| ET011 | Endotherapeutics Pty Ltd | Macroplastique | Sterile, textured, highly cross linked polydimethylsiloxane elastomer implants suspended in a bio-excretable carrier gel. | 1.3 ml & 2.5 ml | 988
| IP004 | Incision Pty Ltd | Durasphere SUI | Injectable Bulking agent for Stress Urinary Incontinence | 1ml | 520
| IP009 | Incision Pty Ltd | Durasphere SUI | Injectable Bulking agent for Stress Urinary Incontinence | 3ml | 1560
| MN008 | Mentor Medical Systems | Urethrin Teflon Paste Kit | Female or male kit | One size only | 1560 |  |  | Anti-Bacterial
Group 1h - Incontinence: injectable, biological
| BA041 | Bard Australia Pty Ltd | Contigen Cross Linked Collagen | Contigen Bard Collagen Implant for Stress Urinary Incontinence | 2.5cc per syringe | 655
Group 2 - Urogenital - Ureteric Stents
Group 2a - Ureteric stents: fixed length, polyurethane
| NG030 | N Stenning & Co Pty Ltd | Paediatric Ureteric Valve Stent Set | Open end with introducer and guidewire, Polyurethane | 12 - 22cm | 195 | 288 | 93 | Tumour
| NG031 | N Stenning & Co Pty Ltd | Paediatric Ureteric Integral Stent Set | Open end with introducer and guide wire, Polyurethane | 12 - 22cm Per pack of 5 | 195 |  |  | Tumour
| NG032 | N Stenning & Co Pty Ltd | DD Ureteric Stent Set | Open end with introducer and guide wire | 22 - 30cm Per pack of 2 | 235 |  |  | Tumour
| NG046 | N Stenning & Co Pty Ltd | Paediatric Ureteric Valve Stent Set | Fixed length wirthan stent | 12 - 22cm | 195 | 288 | 93 | Tumour
| WC018 | William A Cook Aust Pty Ltd | C-Flex Endoureteratomy Stent Set |  | 6 - 7Fr, Length 22 - 28cm | 236 |  |  | Special Purpose
| WC022 | William A Cook Aust Pty Ltd | C-Flex Double Pigtail Ureteric Stent Set | Set includes: Stent, Wire, Positioner | 4.7fr, 12cm and 3.7fr, 16 - 18cm | 176 |  |  | Paediatric
| WC027 | William A Cook Aust Pty Ltd | Polyurethane Double Pigtail Stent Set |  | 4 - 8Fr, Length 8 - 30cm | 176
| WC214 | William A Cook Aust Pty Ltd | Cook Ureteral Stents | Amplatz Ureteral Stent Set, Ultrathane RB Design Radioplaque Band and AQ Hydrophilic Coating Set includes one stent positioner with flexible stent introducer catheter | 8.5Fr - 12,20,22,24,26,28cm and 10.2Fr - 22,24,26,28cm | 238 |  |  | Tumour
Group 2b - Ureteric stents: fixed length, other synthetic
| BS038 | Boston Scientific Pty Ltd | Polaris | Each Stent contains a ureteral stent with attached suture and a stent positioner. | Size: 4Fr to 14Fr, Length: 10cm to 95cm | 210
| BS086 | Boston Scientific Pty Ltd | Polaris Ultra Ureteral Stent | This ureteral stent is made from Percuflex material with a Hydro Plus Coating | Sizes up to 7Fr, lengths up to 30cm | 315
| BS091 | Boston Scientific Pty Ltd | Percuflex; Percuflex Plus; Percuflex Tail; Percuflex Tail Plus Ureteral Stents. | Each Stent contains a ureteral stent with attached suture and stent positioner | Size: 4Fr to 14Fr, Length: 10cm to 95cm | 210
| BS092 | Boston Scientific Pty Ltd | Contour Ureteral Stents | Each Stent contains a ureteral stent with attached suture and a stent positioner . If packaged as a set, the set will contain the ureteral stent, stent positionerand guidewire | Size: 4Fr to 14Fr, Length: 10cm to 95cm | 210 |  |  | Tumour
| BS093 | Boston Scientific Pty Ltd | Retromax Plus Ureteral Stent | Each Stent contains a uretera stent with attached suture and stent poitioner. | Size: 4Fr to 14Fr, Length: 10cm to 95cm | 210
| GY086 | Gyrus Australasia Pty Ltd | Ureteral Stents | Diversion Stent, silicone | 7 - 8.5 F x 90cm | 165
| MH002 | Applied Medical Australia Pty Ltd | Ureteral Stents | Soft vertex, hydrophilically coated with radiopaque markers | 7/10F only, length 20, 22, 24, 26, 28, 30cm | 290 |  |  | Special Purpose
| MH005 | Applied Medical Australia Pty Ltd | Ureteral Stents | Composition - Soft vertex, hydrophilically coated with radiopaque markers | Outer dia 5F, length 14, 16, 18, 20, 22, 24, 26, 28cm; Outer dia 6F, length 22, 24, 26, 28, 30cm; Outer dia 7F, length 22, 24, 26, 28, 30cm; Outer dia 8F, length 22, 24, 26, 28, 30cm | 120
| MH010 | Applied Medical Australia Pty Ltd | Silhouette Ureteral Stent | The Silhouette Ureteric Stent is manufactured with a soft material that provides superior comfort. It has superior column strength through a coil-reinforced body providing effortless placement. The tight coils prevent migration. The smaller outside dia | Size: 4F, 14cm to 30cm in 2cm increments | 120 | 140 | 20
| MH011 | Applied Medical Australia Pty Ltd | Silhouette Ureteral Stent | The Silhouette Ureteric Stent is manufactured with a soft material that provides superior comfort. It has superior column strength through a coil-reinforced body providing effortless placement. The tight coils prevent migration. The smaller outside diamet | 4F, 10cm - 12 cm in 2cm increments 10 cm - Part No. B3829 12 cm - Part No. B3830 | 140
| NG028 | N Stenning & Co Pty Ltd | DD Ureteric Tumor Stent Set | Open/Closed end with introducer and guide wire, Polyurethane | 20 - 28cm | 120 | 359 | 239 | Tumour
| NG029 | N Stenning & Co Pty Ltd | DD Ureteric Valve Stent Set | Open end with introducer and guide wire, Polyurethane | 22 - 30cm | 139 |  |  | Tumour
| WC024 | William A Cook Aust Pty Ltd | Ultrathane Endoureteratomy Stent Set |  | 6, 7Fr, Length 18 - 26cm | 229 |  |  | Special Purpose
Group 2c - Ureteric stents: fixed length, other synthetic thermosensitive
| WC130 | William A Cook Aust Pty Ltd | Cook Ureteral Stent | Endo-Sof Double Pigtail Stent with AQ(R) Hydrophilic Coating | French 5, 6, 7, 8 - 20, 22, 24, 26, 28cm Long | 256
| WC131 | William A Cook Aust Pty Ltd | Cook Ureteral Stent | Endo-sof double pigtail stent with sideholes | French 5 - 7, length 20 - 28cm | 256
| WC170 | William A Cook Aust Pty Ltd | Urinary Tract Stent set | Endo-Sof Double Pigtail Ureteral Stent and Positioner Only | 5, 6, 7 fr, Length: 22, 24, 26, 28cm | 180
| WC172 | William A Cook Aust Pty Ltd | Urinary Tract Stent set | Endo-Sof Double Pigtail Stent Set | 5, 6, 7 fr, Length: 22, 24, 26, 28cm | 200
Group 2d - Ureteric stents: fixed length, metal
| ED006 | Endovision Pty Ltd | Memokath Ureteric Stent | Model 051CW, Thermoexpandable, Nickel-Titanium | Length 100mm - 200mm | 3700
| WC226 | William A Cook Aust Pty Ltd | RESONANCE Metallic Ureteral Stent Set | Set consists of: 1. Metallic double pigtail stent - stainless stel - 6.0 Fr. 20-30cm. 2. Pigtail straightener. 3. Outer sheath. 4. Urenteral catheter,. 5 With or without a positioning catheter, and 6. With or without guide wire | Stent - 6.0Fr., 20-30cm long | 1620 |  |  | Tumour
Group 2e - Ureteric stents: multilength polyurethane
| BA044 | Bard Australia Pty Ltd | Ureteral Stent | Bard Inlay Hydrophilic coated Pigtail Ureteric stent without guidewire; Bard Flouro 4 Silicone Multilength ureteric stent with guidewire; Urinary Diversion Stent All Silicone | (Inlay) 4.7Fr 14, 20, 22, 24, 26, 28cm. 6Fr- 14, 20, 22, 24, 26, 28cm 7Fr 14, 20, 22, 24, 26, 28cm 8Fr- 14, 20, 22, 24, 26, 28cm. (Flouro) Multilength 4,6,7,and 8fr. (Diversion) 7Fr x 90cm & 8Fr x 90cm. | 195
| WC020 | William A Cook Aust Pty Ltd | Towers Peripheral Ureteral Stent Set |  | 6, 7Fr, Length 20, 22 - 32cm | 210
| WC021 | William A Cook Aust Pty Ltd | C-Flex Double Pigtail Stent Set with Options | Set includes Paediatric Stent & Positioner Only | 3.7fr Paediatric, 12cm | 190 |  |  | Paediatric
| WC125 | William A Cook Aust Pty Ltd | Cook Ureteral Stent | Towers peripheral ureteral stent and positioner only | French 6 - 7, length 22 - 32cm | 210
| WC218 | William A Cook Aust Pty Ltd | C-Flex Multilength Ureteric Stent Set | Set includes: Paediatric Stent, Wire, Positioner | 3.7fr Paediatric, Length 22-32cm or 8 -20cm | 249 |  |  | Paediatric
| WC219 | William A Cook Aust Pty Ltd | C-Flex Double Pigtail Ureteric Stent Set | Set includes: Paediatric Stent, Wire, Positioner 3..7fr Paediatric, Length 8 - 14cm | 3.7fr Paediatric, Length 8 - 14cm | 249 |  |  | Paediatric
Group 2f - Ureteric stents: multilength other synthetic
| BS094 | Boston Scientific Pty Ltd | Contour VL; Stretch VL Flexima; Ureteral Stents | Each Stent contains a ureteral stent with attached suture and a stent positioner | Size: 4Fr to 14Fr, Length: 10cm to 95cm | 210
| GY084 | Gyrus Australasia Pty Ltd | Ureteral Stents | Single J Ureteric Stent, silicone | 7 - 8.5 F x 90cm | 175
| GY085 | Gyrus Australasia Pty Ltd | Ureteral Stents | Double J Ureteric Stent, silicone | 6-8.5 F, 12 - 24 cm | 194 | 221 | 27
| GY087 | Gyrus Australasia Pty Ltd | Ureteral Stents | Nephro Stent, silicone | 6 - 8.5 F, 25-58cm | 210 | 425 | 215
| GY089 | Gyrus Australasia Pty Ltd | Quadra-Coil Multi Length Ureteral Stent | Tecoflex polymer, hydrophilic coating/PTFE coating | 4.5F-8.5F x length 22 - 28cm | 126 | 214 | 88
| WC002 | William A Cook Aust Pty Ltd | Sof-Flex Multilength Ureteric Stent Set | Set includes Stent, Wire, Positioner | 4.7fr - 8Fr, Length 22 - 32cm | 194
| WC003 | William A Cook Aust Pty Ltd | Sof-Flex Multilength Ureteric Stent with Set Variations | Stent, Positioner | 4.7 - 8Fr, Length 22 - 32cm | 194
| WC009 | William A Cook Aust Pty Ltd | Sof-Flex Double Pigtail & Multilength Ureteric Stent Sets with Slipcoat Wire | Set includes Aqueous Coated (AQ) or Standard Stent, Slipcoat Wire & Positioner | 5 - 7fr | 194
| WC023 | William A Cook Aust Pty Ltd | Greene Renal Transplant Stent Set |  | 5 - 8.5Fr, Length 8 - 20, 32cm | 238
| WC028 | William A Cook Aust Pty Ltd | Black Silicone Stent Set with Options |  | 6 - 8Fr, Length 20 - 30cm | 210 |  |  | Tumour
| WC029 | William A Cook Aust Pty Ltd | Black Silicone Double Pigtail Stent Set |  | 6 - 8Fr, Length 20 - 30cm | 210
| WC034 | William A Cook Aust Pty Ltd | Sof-Flex AQ Double Pigtail Stent Set |  | 4.7 - 7Fr, Length 22 - 32cm; multi-lengths 22 -32 cm | 194
| WC104 | William A Cook Aust Pty Ltd | Cook Ureteral Stent - Sof-Flex Double Pigtail Stent Set - Special | Radiopaque Sof-Flex Stent, Stainless Steel Wire Guide, Radiopaque Polyurethane Catheter and Radiolucent Vinyl Positioner | French 4.7, 6, 7, length 8-22cm, 4-12cm | 223
| WC138 | William A Cook Aust Pty Ltd | Cook Ureteral Stent Filiform Double Pugtail Silicone Stent Set | Stent, Wire, Positioner | 6-8 fr 20-30cm | 260 |  |  | Tumour
| WC140 | William A Cook Aust Pty Ltd | Cook Ureteral Stent Filiform Multilength Silicone Stent Set | Stent, Wire, Positioner | 5-8 fr 8-20cm; 5-8 fr 22-32cm | 260
| WC143 | William A Cook Aust Pty Ltd | Cook Ureteral Stent Filiform Double Pigtail Silicone Stent and Positioner Only | Stent and Positioner | 6-8 fr 20-30cm | 260 |  |  | Tumour
| WC147 | William A Cook Aust Pty Ltd | Cook Ureteral Stent Kwart Retro-Inject Stent Set | Stent, Wire, Inserter, Release Sleeve | 4.7-8 fr, length 22-32cm | 194
| WC149 | William A Cook Aust Pty Ltd | Sof-Flex Double Pigtail Ureteric Stent with Set Variations | Stent, Positioner | 4.7 - 10Fr, Length 12 - 30cm | 194
| WC150 | William A Cook Aust Pty Ltd | Sof-Flex Double Pigtail Ureteric Stent Set | Set includes: Stent, Wire, Positioner | 4.7fr - 7fr and 10fr, 10 - 28cm | 194
| WC217 | William A Cook Aust Pty Ltd | Sof-Flex Multilength Ureteric Stent Set | Set includes: Paediatric Stent, Wire, Positioner | 3fr Paediatric, Length 8 - 12cm | 254 |  |  | Paediatric
| WC220 | William A Cook Aust Pty Ltd | Sof-Flex Double Pigtail Ureteric Stent Set | Set includes: Paediatric Stent, Wire, Positioner | 3fr Paediatric, Length 8 - 14cm | 254 |  |  | Paediatric
Group 2g - Ureteric stents: multilength other synthetic thermosensitive
| WC035 | William A Cook Aust Pty Ltd | Multi-length Endosof Ureteral Stent Set | Set includes Hydrophilic Coated Stent,Wire and Positioner | 5 - 8fr, 22-32cm | 256
| WC169 | William A Cook Aust Pty Ltd | Urinary Tract Stent set | Endo-Sof Multilength Stent Set | 5, 6, 7 fr, Length: 22-32cm | 200
| WC171 | William A Cook Aust Pty Ltd | Urinary Tract Stent set | Endo-Sof Multilength Ureteral Stent and Positioner Only | 5, 6, 7 fr, Length: 22-32cm | 180
Group 2i - Ureteric stents: urinary diversion
| BS095 | Boston Scientific Pty Ltd | Urinary Diversion Stents | Each Stent contains a ureteral stent with attached suture and a stent positioner | Size: 4Fr to 14Fr, Length: 10cm to 95cm | 210
| ET012 | Endotherapeutics Pty Ltd | Optimed Ureteric Stents | Soft-Polyurethane. Ureteral. Paediatric Ureteral. Renal Transplantation. Urinary Diversion. | Ureteral 4.5 x 28,30,32 cm; 6 x 26,28,30,32 cm; 7 x 26,28,30,32 cm. Paediatric Ureteral 8 x 28,30,32 cm. Renal Transplantation 4 x 10,12,14,16 cm; 6 x 12,14,16 cm; 7 x 12,14,16 cm. Urinary Diversion 8 x 12,14,16 cm. | 210
| WC031 | William A Cook Aust Pty Ltd | Bander Ureteral Diversion Stent Set | Left, right | 7, 8Fr, Length 75, 90cm | 129
| WC128 | William A Cook Aust Pty Ltd | Cook Ureteral Stent | Bander ureteral diversion left and right stents | French 4.7 - 8, length 75cm | 210
Group 3 - Urogenital - Urethral Stents
Group 3a - Urethral stents : Metal, expandable
| AM003 | American Medical Systems | Urolume Plus TM Endo Urethral prostheses | Endourethral wall stent for urethral strictures, DESD and BPH | Range: 1.5 - 4.0cm | 2450 | 3922.37 | 1472.37
| BA042 | Bard Australia Pty Ltd | Memotherm Prostatic Stents | Memotherm Prostatic Urethral wall Stent | 36Fr, 20mm to 60mm in 5mm increments; 42Fr, 20mm to 60mm in 5mm increments | 2450
| ED002 | Endovision Pty Ltd | Memokath Ureteric Stent | Model 051CW, Thermoexpandable, Nickel - Titanium | Lengths 30mm - 100mm | 2450 | 3980 | 1530
| ED003 | Endovision Pty Ltd | Memokath Urethral Stent | Dual Expansion. Models 045T, 045W, 045TTW, Thermoexpandable, Nickel - titanium | Lengths 5mm - 90mm | 2450
| ED004 | Endovision Pty Ltd | Memokath Urethral Stent - Single Expansion | Models: 028S, 028SW (Flexible cystoscope) | Length 15 - 90mm | 2450
| ED007 | Endovision Pty Ltd | Memokath Urethral Stent - Single Expansion | Models 044T, 044TW, 028T, 028TW (Rigid telescope) | Lengths 15 - 90mm | 2450
Group 4 - Urogenital - Reconstructive Material
Group 4a - Urogenital Reconstructive Material : synthetic
| AM012 | American Medical Systems | Triangle Sling | Gelatin Coated Polyester sling, used in sling procedures for treatment of stress urinary incontinence. | 18 x 55 mm | 663
| AM013 | American Medical Systems | Triangle Sling with surgical mesh | Silicone Coated sling with surgical mesh, used in sling procedures for treatment of stress urinary incontinence. | 10 x 10cm - 144 x 144cm | 663
| AM018 | American Medical Systems | Straight-In Sacral Colpopexy System | Kit includes inserter, 2 x loop screws, "Y" shaped sling graft | Shaft 28cm | 1295 | 3810.1 | 2515.1
| AM023 | American Medical Systems | IntePro Large Pore Polypropylene Y-Sling | Large pore polypropylene mesh | One size | 663
| AM026 | American Medical Systems | Perigee Transobturator Anterior Prolapse Repair System | 4 helical shaped needles with handles, 4 synthetic graft arms enclosed in plastic with a centre "cape" mesh. | One size | 1325
| AM027 | American Medical Systems | Apogee Vault Suspension System | 2 stainless steel curved needles with handles, a large pore polypropylene mesh attached in the centre of a polypropylene mesh enclosed in plastic sheaths and two dilating conectors. | One size | 1295
| JJ476 | Johnson & Johnson Medical Pty Ltd | Gynecare Prolift Pelvic Floor Repair System | Pre-cut gynemesh PS and single use instruments for mesh placement | PFRT01 | 2489
| JJ478 | Johnson & Johnson Medical Pty Ltd | Gynecare Prolift Pelvic Floor Repair System | Pre-cut gynemesh PS and single use instruments for mesh placement | PFRP01 | 1295
Group 4b - Urogenital Reconstructive Material : biological
| BA149 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 4 x 18cm x 1.0mm | 729
| BA150 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 4 x 7cm x 1.0mm | 399
| BA151 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 2 x 12cm x 1.0mm | 369
| BA152 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 2 x 20cm x 1.0mm | 489
| BA153 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 4 x 12cm x 1.0mm | 549
| BA154 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 8 x 12cm x 1.0mm | 924
| BA155 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 2 x 4cm x 1.0mm | 249
| BA156 | Bard Australia Pty Ltd | Pelvicol natural implant | Flexible Flat sheet of acellular porcine dermal collagen and elastin fibres | 2 x 7cm x 1.0mm | 293
| BA172 | Bard Australia Pty Ltd | Pelvisoft | PelviSoft Acellular Collagen BioMesh | 4 x 7 cm | 399 | 458 | 59
| BA173 | Bard Australia Pty Ltd | Pelvisoft | PelviSoft Acellular Collagen BioMesh | 8 x 12 cm | 924 | 1295 | 371
| BA174 | Bard Australia Pty Ltd | Pelvisoft | PelviSoft Acellular Collagen BioMesh | 6 x 8 cm | 549 | 660 | 111
| WC177 | William A Cook Aust Pty Ltd | Surgisis Soft Tissue Graft | Surgical Mesh composed of Sub-Intestinal Submucosa (SIS) | Length- 10cm, Width- 7cm | 770
| WC178 | William A Cook Aust Pty Ltd | Surgisis Soft Tissue Graft | Surgical Mesh composed of Sub-Intestinal Submucosa (SIS) | Length- 20cm, Width- 7cm | 950
Group 4c - Urogenital Reconstructive Material : bone and ligament fixation
| AM010 | American Medical Systems | Influence Bone Screw | Bone screw with pre-attached polypropylene monofilament suture. For incinsionless tranvaginal sling procedure. Loop Screw Bone Screw | 5.5 x 1.7 mm | 685
| AM011 | American Medical Systems | Influence Bone Screw | Bone screw with pre-attached polypropylene monofilament suture. For incinsionless tranvaginal sling procedure. In-Fast Bone Screw | 5.5 x 1.7 mm | 685
Group 5 - Urogenital - Penile Prostheses
Group 5a - Penile : malleable
| AM005 | American Medical Systems | Penile Implant - Malleable | AMS 600M, AMS 650 | Cylinders range: 12 -20cm | 3305.4
| AM020 | American Medical Systems | DURA II, Positionable Penile Prosthesis | Concealable penile prosthesis | Diameter 10mm and 12mm; Proximal tip lengths 1-9cm; Distal tip lengths 1-9cm | 5300 | 5386 | 86
| MN006 | Mentor Medical Systems | Malleable Penile Prostheses | Malleable rod implant | 9ml,11ml and 13ml | 2020
| MN025 | Mentor Medical Systems | Acu-form Malleable Penile Prostheses | Malleable rod implant | 9ml,11ml and 13ml | 2020 | 3200 | 1180 | Anti-Bacterial
| MP002 | Medical Device Alliance Pty Ltd | Malleable Penile Implant | Consists of a membrane, filler product and silicone tube | 14-23cm | 800
Group 5b - Penile : inflatable, two component
| AM041 | American Medical Systems | AMS Ambicor | AMS Ambicor Inflatable Penile Prostheses | AMS Ambicor Inflatable Penile Prostheses 12.5mm in 14, 16 & 18cm length, 14mm in 16, 18 & 20cm length, 15.5mm in 18, 20 & 22cm length | 10200 |  |  | Anti-Bacterial
| AM047 | American Medical Systems | AMS Ambicor | AMS Ambicor Inflatable Penile Prostheses | 12.5mm in 14, 16 & 18cm length, 14mm in 16, 18 & 20cm length, 15.5mm in 18, 20 & 22cm length | 10000
| MN005 | Mentor Medical Systems | Inflatable Penile Prostheses-Implant Start-Up Pack | Saline filled penile implant | 10cm,12,14,16,18,20,22. | 8000
| MN022 | Mentor Medical Systems | Titan Inflatable Penile Prosthesis with Resist | Saline-Filled Penile Implant | 10cm, 12cm, 14cm, 16cm, 18cm, 20cm, 22cm Cylinder Lengths | 10200 | 10350 | 150 | Anti-Bacterial
Group 5c - Penile : inflatable, three component
| AM004 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses with Inhibizone Cylinders | 700 Series with InhibiZone | 12, 14, 15, 16, 18, 21cm | 3750 |  |  | Anti-Bacterial
| AM022 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses Cylinders | 700 Series (Non InhibiZone) | 12, 14, 15, 16, 18, 21cm | 3448
| AM036 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Pump | 700 Series with InhibiZone | One Size | 4570 |  |  | Anti-Bacterial
| AM037 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Pump & Cylinders Preconnected | 700 Series with InhibiZone | 12, 14, 15, 16, 18, 21cm | 8324 |  |  | Anti-Bacterial
| AM038 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Reservoir | 700 Series with InhibiZone | 50, 65, 100ml | 1940 |  |  | Anti-Bacterial
| AM039 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Accessory Kit | 700 Series with InhibiZone | One Size | 675 |  |  | Anti-Bacterial
| AM040 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Deactivation Package | 700 Series with InhibiZone | One Size | 135 |  |  | Anti-Bacterial
| AM042 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses Pump | 700 Series (Non InhibiZone) | One Size | 4201
| AM043 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses Pump & Cylinders Preconnected | 700 Series (Non InhibiZone) | 12, 14, 15, 16, 18, 21cm | 7653
| AM044 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses Reservoir non Inhibizone | 700 Series (Non InhibiZone) | 50, 65, 100ml | 1757
| AM045 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses Accessory Kit | 700 Series (Non InhibiZone) | One Size | 675
| AM046 | American Medical Systems | AMS 700 Series Inflatable Penile Prostheses Deactivation Package | 700 Series (Non InhibiZone) | One Size | 135
| MN027 | Mentor Medical Systems | Titan Inflatable Penile Prosthesis with Resist | Saline-Filled Penile Implant | 10cm, 12cm, 14cm, 16cm, 18cm, 20cm, 22cm Cylinder Lengths | 10200 | 10500 | 300 | Anti-Bacterial
Group 6 - Urogenital - Testicular
Group 6 - Testicular prostheses
Group 6d - Uncemented, beaded, HA, short and standard lengths, modularity. | AM015 | American Medical Systems | AMS Testicular Prostheses | Solid silicone elastomer with suture hole | Small, Medium, Large | 640
| ET028 | Endotherapeutics Pty Ltd | Promedon Testicular Prosthesis | Silicone Elastomer | Small - 31 x 23 mm, Medium - 37 x 28 mm, Large - 42 x 32 mm, Xlarge | 640
| MN007 | Mentor Medical Systems | # Testicular Prosthesis | Saline and gel filled implant | Small, Medium, Large | 640
| MN026 | Mentor Medical Systems | Silicone Elastomer Testicular Prosthesis | Saline and gel filled implant | Small, Medium, Large | 640 | 800 | 160
| SP002 | Surgiplas Medical | Testicular Implant | Silicone Elastomer | Small / Medium / Large | 640
| TE003 | Technology For Life Pty Ltd | # Micro Textured Testicular Implant | Silicone Enhanced | Small, Medium, Large, Ex-large | 640 | 1050 | 410
Group 7 - Urogenital - Stimulators
Group 7 - Stimulators
| MC175 | Medtronic Australasia Pty Ltd | Neo-anal sphincter stimulator implant | Implantable intramuscular assist lead, Dynamic Graciloplasty Lead. Platinum iridium, polyurethane, polypropylene. | 35-50 cm | 4330
| MC180 | Medtronic Australasia Pty Ltd | Sacral Nerve Stimulation Unilateral | Interstim stimulation lead Models 3080 & 3886. Platinum / Iridium, polyurethane. | 28 cm | 3330
| MC185 | Medtronic Australasia Pty Ltd | Sacral Nerve Stimulation Unilateral | Interstim Temporary test stimulation lead. Model 3065U. This model is temporary for patient trial. Platinum / Iridium, polyurethane. | One size only | 385
| MC186 | Medtronic Australasia Pty Ltd | Sacral Nerve Stimulation Accessories | Model 041827-002 Auxiliary screener cable kit. Polypropylene. OR Model 041828-002 Foramen Needle (box of 6). Sterile individual units. Stainless steel. | One size only; 9-12.5cm | 128
| MC188 | Medtronic Australasia Pty Ltd | Sacral Nerve Stimulation Unilateral | Activator. Model 3031. Polycarbonate. | One size only | 1318
| MC291 | Medtronic Australasia Pty Ltd | Sacral Nerve Stimulation Lead Model 3093 TINED LEAD | 4 electrode tined lead - platinum iridium, electrodes 0, 2, 3 are 3mm,electrode 1 is 10mm and coiled, spacing is 1.5mm | 28 CM | 4330
Group 8 - Urogenital - Tubal Obstruction Devices
Group 8a - Tubal obstruction : extraluminal
| EC001 | Endocorp Pty Ltd | Hulka Clip | - |  | 76
| FE001 | Femcare Australia Pty Ltd | Filshie Clip | Titanium | One size only | 155 | 170 | 15
| FE002 | Femcare Australia Pty Ltd | Fallopian Tube Rings (Pair) | Silicone | One size only | 76 | 120 | 44
| GY088 | Gyrus Australasia Pty Ltd | Falope-Ring Bands | Fallopian Tube Clip (each) | 5mm - 12mm | 38 | 70 | 32
Group 8b - Tubal obstruction : intraluminal
| NG045 | N Stenning & Co Pty Ltd | Essure System | Stainless steel, polyester fibre | One size only, 2 per pack | 1240 | 1344 | 104