Part A - Prostheses List	August 2009

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Cardiac - Other

St. Jude Medical Australia Pty Ltd

SJ127	Proxis Embolic Protection System - Long Sheath	Proximal embolic protection device and delivery system	6F and 7F	$2,100.00

Group 1- Cardiothoracic Mechanical Valves

Group 1c - Bi-Leaflet, rotatable

Advanced Biomedical Pty Ltd

AB002	ATS medical open pivot heart valve model 500FA 	Pyrolythic Carbon, Double Velour Polyester, Titanium	16-33mm	$6,000.00

standard flexi-cuff aortic valve series, ATS medical open

pivot heart valve model 500DM standard flexi-cuff mitral

valve series

AB064	ATS medical open pivot heart valve model 501DA 	Pyrolythic Carbon, Double Velour Polyester, Titanium	16-33mm	$6,000.00

advanced performance (AP) aortic valve series, ATS

medical open pivot heart valve model 501DM advanced

performance (AP) mitral valve series

Medtronic Australasia Pty Ltd

MC292	Advantage Heart Valve - Aortic Model A7760	A7760 - Pyrolytic carbon, PET	Diameter 19-31 mm	$6,000.00

MC324	Advantage Supra Aortic  Heart Valve	Mechanical Heart Valve Pyrolite Carbon leaflets Pyrolite 	Diameter (mm): 19 - 25	$6,000.00

carbon ring

MC681	Advantage Mitral	Mechanical Heart Valve	23mm-33mm	$6,000.00

Reid Healthcare

RH001	Aortic On-X Prosthetic Heart Valve Models ONXA-19;	27-29mm, 19mm, 21mm, 23mm, 25mm, 25-	$5,500.00

ONXA-21; ONXA-23; ONXA-25; ONXA-27/29; 	33mm, 27-29mm, 31-33mm, 23mm, 25mm

ONXM-23; ONXM-25; ONXM-27/29; ONXM31/33;

ONXMC25/33

Prostheses List by Category, Groups and Sponsor	Page 1 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sorin Group

SA129	Optiform	Mechanical Valve	19mm to 33mm	$6,000.00

St. Jude Medical Australia Pty Ltd

SJ037	St Jude Medical Aortic Expanded Cuff Heart Valve; St 	Aortic Expanded Cuff, Aortic Hemodynamic Plus Cuff, 	Aortic Expanded 19 -31mm, Aortic 	$6,000.00

Jude Medical Aortic Hemodynamic Plus Cuff Heart 	Mitral Hemodynamic Cuff, Aortic & Mitral Rotatable Cuff	Hemodynamic 17 - 27mm, Mitral

Valve; St Jude Medical Mitral Hemodynamic Plus Cuff 	Hemodynamic 17 -27mm, Rotatable 17 -

Heart Valve; St Jude Medical Mechanical Heart Valve 	33mm

Masters Series

SJ039	Regent Prosthestic Heart Valves	Standard Cuff - Model 17AGFN-751 - 23AGFN-751, 	Standard cuff - 17-23mm, Flex cuff - 17-23mm	$6,500.00

Flex Cuff - Mode 17AGFN-756 - 23AGFN-756

SJ116	Regent Prosthestic Heart Valves	Standard Cuff - Model 25AGFN-751 - 29AGFN-751, 	Standard cuff - 25-29mm, Flex cuff - 25-29mm	$6,000.00

Flex Cuff - Mode 25AGFN-756 - 29AGFN-756

Group 1e - Tilting Disc, rotatable

Medtronic Australasia Pty Ltd

MC013	Medtronic Hall Heart Valve Aortic Model A7700, 	A7700/M7700 Titanium. Pyrolite. Dacron, 	A7700 - Diameter 20-31mm, M7700 - 	$5,100.00	$5,625.00

Medtronic Hall Heart Valve Mitral Model M7700, Hall 	A7700EZ/M7700EZ Titanium. Pyrolite. PET	Diameter 23-33mm, A7700EZ - Diameter

Easy Fit Aortic Heart Valve Model A7700, Hall Easy Fit	19-29mm, M7700EZ - Diameter 23-31mm

Mitral Heart Valve Model M7700

Group 1: Single Chamber ICD's

Generation 2

Biotronik Australia Pty Ltd

BT054	Lexos VR	Single chamber ICD, Rate responsive pacing	One size only.	$36,400.00

Generation 3

Biotronik Australia Pty Ltd

BT075	Lumos VR-T	Single Chamber ICD with home monitoring and IEGM 	one size only	$40,560.00

online

BT087	Lumax 300 VR-T	ICD-VR with bidirectional Home Monitoring. Single 	One Size Only	$40,560.00

chamber

Prostheses List by Category, Groups and Sponsor	Page 2 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Guidant Australia Pty Ltd

GU110	Ventak Prizm II VR	Model 1860, titanium, single chamber, adaptive rate	One size only	$40,560.00

GU133	Vitality VR Model 1870	This device acts to defibrillate the heart chambers when the 	Model 1870 Vitality VR Single Chamber Rate	$40,560.00

patient enters into an arrhythmia or uses shocks or anti 	 Responsive Pacemaker/Defibrillator

tachy pacing to revert Ventricular Tachycardia (VT) or

Ventricular Fibrillation (VF). While also acting as a single

chamber pacemaker.

GU148	Vitality 2 EL VR - Model T177	Implantable Cardiac Defibrillator	35cc 90g	$40,560.00

GU151	Vitality 2 VR - Model T 175	Implantable cardiac defibrillator	30cc; 82g	$40,560.00

Sorin Group

SA139	OVATIO VR 6250	Titanium, single chamber, sterile, VR 6250, 34J	29cc	$40,560.00

St. Jude Medical Australia Pty Ltd

SJ048	Epic Plus VR Model V-196 Implantable Cardioverter 	Single Chamber sensing and bradycardia pacing	32cc	$40,560.00

Defibrillator

SJ093	Epic II VR V-158 Implantable Cardiac Defibrillator	Single Chamber Cardioverter Defibrillator	34cc, 70g	$40,560.00

A

Biotronik Australia Pty Ltd

BT090	Lumax 340 VR-T	ICD-VR 34 J with bidirectional Home Monitoring. Single 	One size only	$42,640.00

chamber

BT098	Lumax 340 VR-T XL	ICD-VR with 40 J output, bidirectional Home Monitoring 	One Size Only	$42,640.00

and High Longevity

BT100	LUMAX 540 VR-T	High Energy, Single-Chamber ICD (Implantable Cardiac 	Diamensions: 66*55*13 mm Volume/Weight :	$42,640.00

Defibrillator) with Advanced Patient Management Via 	 37.2cc/92g

unique Home Monitoring Technology incorporatin

Automatic Threshold Monitoring and Extended Longevity.

Boston Scientific Australia Pty Ltd

BS132	Teligen 100 HE VR 4-SITE	High energy single chamber ICD with 4-SITE inline RV 	30.5cc, 9.9mm	$43,390.00	$44,640.00

connector (GDT-LLHH)

BS136	TELIGEN 100 HE VR DF-1/IS-1	High energy single chamber ICD with DF-1/IS-1 connector	31.5cc, 9.9mm	$42,640.00

Prostheses List by Category, Groups and Sponsor	Page 3 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC722	Virtuoso	VR ModelImplantable Cardioverter Defibrillator, Single 	37cc, 68g	$42,640.00

Chamber

MC813	Secura VR	Fully Automatic, Wireless Implantable cardioverter 	37cc	$42,640.00	$45,760.00

defibrillator with high energy capability and therapies for

ventricular tachyarrhythmia

St. Jude Medical Australia Pty Ltd

SJ012	Atlas VR Model V-199	Single chamber implantable cardioverter defibrillator with 	36cc	$42,588.00

rate response

SJ065	Atlas + VR Model V-193 ICD	Single chamber implantable cardio-verter defibrillator	38cc, 77g	$42,640.00

SJ066	Atlas + VR - C Model V-193C ICD	Single chamber implantable cardio-verter defibrillator	38cc, 77g	$42,640.00

SJ114	Atlas II VR-168	Single chamber cardioverter defibrillator	38cc, 77g	$42,640.00

SJ121	Current VR 1107-36	Single Chamber Cardioverter Defibrillator	38cc 76g	$42,640.00

SJ124	Current RF VR 1207-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 41cc	$42,640.00

Telemetry

SJ142	Analyst VR CD1217-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 41cc	$42,640.00

Telemetry and ST Segment Monitoring

SJ147	Current Accel VR RF CD1215-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 38cc	$42,640.00

Telemetry

SJ154	AnalyST Accel VR CD1219-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 41cc	$42,640.00

Telemetry and ST Segment Monitoring

Group 10: Pacemaker/ICD Extenders

Medtronic Australasia Pty Ltd

MC831	Medtronic Lead Extender Kit Model: 6984M, 6981M, 	Silicone	37 - 50cm	$530.00

6985M,6986m

Prostheses List by Category, Groups and Sponsor	Page 4 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 11: Pacemaker/Lead Accessories

Medtronic Australasia Pty Ltd

MC036	Medtronic Lead End Cap Kit Model: 5867-3M; 	Pin Plug Kits to Seal Unused Pacemaker or Defibrillator 	One Size Per Model	$80.00

Medtronic DF-1 Port Pin Plug Kit: Model 6719, 	Port; Sizing Sleeve - Silicone or Polyurethane

Medtronic IS-1 Port Pin Plug Kit: Model 6725;

Medtronic Upsizing Sleeve: Model 5866-45, Model

5866-46

Group 12: Coronary Stents

Sub-Group 1: Drug eluting stents

Abbott Australasia Pty Ltd

AY023	Xience Everolimus Eluting Stent System	Everolimus Eluting Stent System	2.25mm to 4.0mm widths, 8mm to 28mm 	$3,450.00

lengths

Boston Scientific Australia Pty Ltd

BS074	Taxus on Express2 Coronary Stent System Models 	balloon expandable stent with conformal polymer/drug 	Length 8 - 32mm; Diameter 2.25 - 5.0mm	$3,450.00

38001-0822 to 0840; 38001-1222 to 1250; 38001-	matrix coating, pre-mounted on high pressure monorail

1622 to 1650;38001-2022 to 2050; 38001-2422 to 	delivery catheter

2450; 38001-2827 to 2850; 38001-3227 to3250

BS099	Taxus Liberte Paclitaxel-Eluting Coronary Stent System	316L Stainless Steel Stent with Translute Polymer and 	2.0mm-5.0mm & 8.0mm-38mm	$3,450.00

Paclitaxel

Johnson & Johnson Medical Pty Ltd

JJ302	CYPHER Sirolimus-Eluting Stent & Delivery System 	Stainless steel coronary stent with Rapamycin (an 	Diameter 2.25 - 5.0mm, length 8-33mm	$3,450.00

Model  CRS - 23300, 08225, 08250, 08275, 08300, 	immunosuppressive and antiproliferative drug) bound to the

28225, 28250, 28275, 28300, 33225, 33250, 33275, 	stent struts

33300, 13225, 13250, 13275, 18225, 18250, 18275,

18300, 23225, 23250, 23275, 23350, 23400, 08350,

08400, 2835

Prostheses List by Category, Groups and Sponsor	Page 5 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ481	CYPHER SELECT Sirolimus-Eluting Stent & Delivery 	Stainless steel coronary stent with Sirolimus (an 	Diameter 2.25 - 5.0mm, length 8 - 33mm	$3,450.00

System	immunosuppressive and anti-proliferative drug) bound to

the stent by a polymer. Model CRA-23300, 08225,

08250, 08275, 08300, 28225, 28250, 28275, 28300,

33225, 33250, 33275, 33300, 13225, 13250, 13275,

182

JJ587	CYPHER Select Plus Sirolimus Eluting Coronary Stent	Stainless steel coronary stent with Sirolimus bound to the 	Diameter 2.25 - 5.00mm, Length 8 - 33mm	$3,450.00

stent by a polymer

Medtronic Australasia Pty Ltd

MC732	Endeavour Drug Eluting Coronary Stent System	Cobalt Alloy, ABT - 578	Diameter: 2.25mm-4.5mm; Length: 8.00mm-	$3,450.00

38.0mm

MC769	Endeavor Sprint Drug Eluting Stent System	Cobals Alloym ABT - 578	Diameter: 2.25mm-4.0mm; Length: 8.0mm-	$3,450.00

30.0mm

MC816	Endeavor Resolute Drug Eluting Coronary Stent System	Cobalt Alloy, ABT - 578, BioLinx Polymer	Diameter:2.25mm-4.0mm; Length: 8.00mm-	$3,450.00

30.0mm

Sub-Group 2: General purpose bare metal stents

Abbott Australasia Pty Ltd

AY025	Stents	ACS Multilink Coronary Stent; ACS Megalink Peripheral 	1.5mm - 8.0mm	$1,248.00

Stent; ACS RX Herculink Peripheral Stent. Stainless steel

AY026	Multilink Coronary Stent System	Stainless Steel	Length 1.5mm - 8.0mm	$1,248.00

AY027	Multilink Coronary Stent System - Frontier	316L Stainless steel stent	Length 1.5 - 8.0mm	$2,496.00

AY028	Multilink Coronary Stent System - Vision	Cobalt chrome stent	Length 1.5 - 8.0mm	$1,248.00

Atrium Australia - Pacific Rim Pty Limited

AC022	Flyer RX Coronary Stent System	Stainless Steel Coronary Stent	Dia 2-5mm, Length 6-40mm	$780.00

AC030	Cinatra Cobalt Chromium Coronary Stent System	The Cinatra Cobalt Chromium Coronary Stent System 	Diameter range: 2.5mm - 3.5mm.  Length 	$1,248.00	$1,372.00

consists of a balloon expandable Cobalt Chromium stent 	range: 8mm - 25mm

premounted on a rapid exchange system

Bio Excel Australia Pty Ltd

BE001	Gazelle Coronary Stent	Stainless Steel	Diam 2.25-4.0mm  Length 8-28mm	$600.00

Biotronik Australia Pty Ltd

BT058	Lekton Motion	Coated flexible stent, Balloon mounted	Diameter 2.5mm to 4mm, Length 8 - 30mm	$1,248.00

Prostheses List by Category, Groups and Sponsor	Page 6 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BT082	PRO-Kinetic	Cobalth Chromium coronary stent system	8-40mm length 2-5mm diameter	$1,200.00

BT107	PRO-Kinetic Energy	The PRO-Kinetic Energey stent is a tubular, balloon-	The PRO-Kinetic Energy stent is available in 	$1,248.00

expandable stent sculpted by laser from a single tube of L-	66 different diameter/length combinations.  It

605 cobalt chromium (CoCr) alloy.  The stent consists of 	is available in lengths from 8mm to 40mm.  It

circular segments at each end followed by a transition zone 	is premounted on a delivery system which has

and helicoidally arranged struts in the middle.  Each loop of 	nominal balloon diameters between 2.0mm

the helix is connected to the next loop by 3 longitudinal 	and 5.0mm.

struts.  The stent surface is fully coated with a layer of

amorphous hydrogen-rich silicon carbide (aSiC:H).  This

material has semiconducting properties that efficiently

prevent the electron transfer from fibrinogen to the metal

surface in vitro.  Thereby the conversion from fibrinogen to

fibrin and it's depoisition at the stent surface is reduced.

Additionally, aSiC:H - coated stents exhibit a lower

adhesion and activation of blood platelets and leucocytes.

Finally, the release of potentially allergenic ions from a

silicon carbide coated stent is substantially reduced in

comparison to an uncoated metal stent3.  This coating is

used on all Biotronik coronary stents producedso far and

was subject to extensive clinical testing.

Boston Scientific Australia Pty Ltd

BS069	Express 2/Liberte Coronary Stent System,	Consists of a balloon expandable stent, pre-mounted on a 	Stent lengths: 8,12,16,20,24,28 & 32 mm 	$1,248.00

Maverick 2 Monorail delivery catheter.	Stent diameters: 2.25, 2.5, 2.75, 3.0, 3.5, 4.0,

4.5 & 5.0 mm

BS125	Promus Everolimus Coronary Stent System	Cobalt chromium alloy stent coated with a blended polymer	2.25mm to 4.0mm diameter, 8mm to 28mm 	$3,450.00

mixed with Everolimus.	length

Imaxeon Pty Ltd

IX001	Amazonia CroCo	Balloon expandable intracoronary cobalt chromium stent 	Lengths:  8mm, 12mm, 16mm, 20mm, 24mm. 	$1,248.00

premounted onto a rapid exchange delivery catheter	 Diameters:  2.25mm, 2.5mm, 2.75mm,

3.0mm, 3.5mm, 4.0mm

IX002	Nile CroCo	Intracoronary stent pre-mounted on two rapid exchange 	Diameter main branch balloon: 2.50 - 	$1,750.00

delivery systems for bifurcation lesions treatment	3.50mm.  Diameter side branch balloon: 2.00

- 3.00mm

Prostheses List by Category, Groups and Sponsor	Page 7 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ026	BX Velocity with Hepacoat System	Balloon expandable, stainless steel, heparin coated	.	$1,220.00

JJ200	BX Velocity Stent and Delivery System	Stainless steel stent	Diameter: 2.25-5.0 mm; Length 8 - 33 mm	$1,220.00

JJ239	BX Sonic	Stainless steel coronary stent mounted on a balloon delivery	Dia 2.25 - 4.0mm, lengths 8 - 33mm	$1,220.00

system

JJ670	Presillion CoCr Coronary Stent on RX System	Cobalt Chromium, bare metal coronary stent	Stent Length (mm) x Stent Diameter (mm) 8 x 	$1,248.00

2.50, 2.75, 3.0, 3.50, 4.0; 12 x 2.50, 2.75,

3.0, 3.50, 4.0; 17 x 2.50, 2.75, 3.0, 3.50,

4.0; 24 x 2.75, 3.0, 3.50, 4.0; 33 x 2.75, 3.0,

3.50, 4.0; 33 x 2.75, 3.0, 3.50, 4.0, 20 x

2.50, 2.75, 3.0, 3.50, 4.0

Medtronic Australasia Pty Ltd

MC197	Medtronic AVE S660 Coronary Stents, S670 Coronary 	Stainless Steel	S660 Coronary Stent - Diameter (2.5mm-	$1,144.00

Stents, S7 Coronary Stents, BeStent2,	2.75mm), Length (9mm-24mm); S670 & S7

Coronary Stent - Diameter (3mm-4mm),

Length (9mm-30mm); BeStent2 - Diameter

(2.5mm-4mm), Length (9mm-30mm);

MC329	Medtronic Driver, Micro Driver Coronary Stent System	Cobalt Alloy	Driver Stent: diameter (2.25 - 4.5mm), length 	$1,248.00

(8-30mm); Micro-Driver Stent: diameter

(2.25 - 2.75mm), length (8 - 24mm)

OrbusNeich  Medical Pty Ltd

NM003	R Stent Evolution 2 Coronary Delivery System	316LVM Stainless Steel Balloon Expandable Stent 	Lengths - 9-33mm; Diameters - 2.5-4.0mm	$1,144.00

(Tubular)

NM004	Blazer Coronary Stent Delivery System	L605 Cobalt Chromium alloy balloon expandable vascular 	Expanded Stent Diameter 2.5 to 4.0mm, Stent	$1,248.00

prosthesis	 Length 9 to 33mm

Pacing Importers Pty Ltd - Life Systems

PI001	Excimer Laser Stent	Polyester Fibre optic catheter	2.5 and 2.2mm	$6,800.00

PI002	Excimer Laser Stent	Polyester Fibre optic fibre catheter	0.457mm, 0.9mm, 1.4mm, 1.7mm and 2.0mm	$6,800.00

PI003	Med-X-Flexy Stent	Tubular Stent, Stainless steel 316L, Gold markers	Dia 5 - 9mm  length: 20 - 100mm	$780.00

Prostheses List by Category, Groups and Sponsor	Page 8 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Terumo Corporation Australia

TU001	Tsunami Gold	Stainless Steel mounted on balloon catheter	Diameter 2.0mm - 4.0mm, Length 8mm - 	$1,248.00

30mm length

a,b,c,d

Abbott Australasia Pty Ltd

AY012	JoStent Coronary Stent Graft	Stainless Steel/PTFE	9 - 26 mm x 2.5 - 5 mm	$3,222.00

Group 13: Special Purpose Percutaneous Cardiovascular Devices

Sub-Group 1: Intracardiac Defect Occluders

a

Medtel Australia Pty Ltd

ME065	Amplatzer Duct Occluder	Nitinol Wire Mesh	5 - 24mm	$10,200.00

ME066	Amplatzer Septal Occluder	Nitinol Wire Mesh	4mm - 40mm	$10,200.00

ME067	Amplatzer Muscular VSD Occluder	Nitinol Wire Mesh	4 - 24mm	$10,200.00

ME068	Amplatzer PFO Occluder	Nitinol Wire Mesh	25mm & 35mm	$10,200.00

ME074	Amplatzer Membranous VSD Occluder	Nitinol wire mesh, double disc occluder and delivery system	4-24mm, Length 7-10mm	$10,200.00

St. Jude Medical Australia Pty Ltd

SJ091	Premere PFO Closure System	Percutaneous, transcatheter, self-expanding, dual anchor, 	Left Atrial Anchor diameter 20mm, 25mm and	$10,036.00

occlusion device	 30mm

Prostheses List by Category, Groups and Sponsor	Page 9 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

W L Gore & Associates

GT223	Helex 1.5 Septal Occluder	The GORE HELEX Septal Occluder consists of an 	Diameters: 15, 20, 25, 30 and 35mm	$10,200.00

implantable endoprosthesis and a catheter delivery system.

The Occluder is comprised of a nickel-titanium (Nitinol)

wire frame covered with expanded polytetrafluoroethylene

(ePTFE).  The ePTFE is treated with a hydrophilic coating

to facilitate echocardiographic imaging of the Occluder

during implantation.  When fully deployed, the Occluder

assumes a double disc configuration that bridges the septal

defect to precent shunting of blood between the right and

left atria (Figure 1a, b).  The delivery system consists of

three distal co-axial components transitioning to a parallel

component arrangement at the proximal Y-arm hub: a 10

Fr Green Delivery Catheter, a Gray Control Catheter and a

Tan Mandrel (Figure 2).  The proximal end of the Conotrol

Catheter exits the Y-arm hub and is terminated by a Red

Retrieval Cord Cap.  The proximal end of the Mandrel

exits the side port of the Y-arm hub and is terminated by a

Clear Leur.  The Control Catheter is equipped with a

retrieval cord if Occluder repositioning or retrieval is

deemed necessary (Figure 2).  A 0.035" guidewire channel

is incorporated into the distal end of the Delivery Catheter.

Sub-Group 3: Vascular Occlusion Devices

Denward Dell Pty Ltd TA Surimex

DW001	Nit-Occlud PDA Occlusion System	Nitinol spiral coil and delivery system for transcatheter 	Distal x Proximal Coil Diameter: 4x4mm, 	$1,900.00

occlusion of PDA	5x4mm, 6x5mm, 10x6mm, 12x6mm,

14x6mm; Introducer Sheath: 4F, 5F; Length

Introducer: 85cm, 105cm; Coil Length

configurated +-0.5mm: 3.5mm, 6.0mm,

6.5mm

Prostheses List by Category, Groups and Sponsor	Page 10 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DW002	Nit-Occlud PDA Occlusion System (Medium)	Nitinol spiral coil and delivery system for transcatheter 	Distal x Proximal Coil Diameter: 7 x 6mm, 9 x	$1,650.00

occlusion of PDA	 6mm, 11 x 6mm, 12 x 6mm, 14 x 6mm;

Introducer Sheath:  5F; Length Introducer:

85cm, 105cm; Coil Length configurated +-

0.5mm: 4.5; 5.0; 6.0

Group 2 - Cardiothoracic Tissue Valves

Edwards Lifesciences Pty Ltd

EL032	Baxter Edwards Prima Plus Stentless Bioprosthesis 	Edwards Prima Plus. Porcine Valve; Woven Polyester 	19mm-29mm	$4,841.00

Model 2500P Prosthetic Heart Valve	Cloth.

Group 2a - Stented

St. Jude Medical Australia Pty Ltd

SJ141	SJM Epic Supra Valve	triple composite Bioprosthetic heart valve for supra-annular	Tissue Annulus Diameter - 19-23mm	$4,445.00

placement in the aortic position	Total Height - 14-16mm

SJ156	SJM Epic Valve	Triple composite bioprosthetic heart valve	Aortic valve 21-29mm tissue annulus diameter	$4,445.00

14-20 total height

Mitral Valves 25-33mm tissue annulus

diameter

15-20mm total height

B (Bovine), E (Equine), P (Porcine)

Edwards Lifesciences Pty Ltd

EL030	CE Supra Annular Aortic Valve Model 2650 Carpentier-	Carpentier-Edwards SAV Bioprosthesis. Composition: 	19mm-33mm	$4,445.00

Edwards S.A.V Bioprosthesis Model 6650 Mitral Valve	Porcine Valve; Elgiloy Alloy; Silicone Rubber,

Polytetrafluoroethylene

Medtronic Australasia Pty Ltd

MC701	Mosaic Cinch, Aortic, Mitral	Models 305cxx, 310cxx	19mm - 35mm	$4,445.00	$5,345.00

MC771	Mosaic Ultra	Small Aortic Root Bioprosthesis	19mm-29mm	$4,445.00	$5,650.00

Prostheses List by Category, Groups and Sponsor	Page 11 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

P (Porcine)

St. Jude Medical Australia Pty Ltd

SJ069	St Jude Medical Biocor Porcine Prosthetic Heart Valve	St Jude Medical Biocor Porcine Prosthetic Heart Valve is 	Aortic Valves - Tissue Annulus Diameter - 	$4,445.00

manufactured from selected procine aortic valve cusps that 	21-29mm,  Implant Height - 11-15c;  Mitral

have been cross-linked with a glutaraldehyde solution	Valves - Tissue Annulus Diameter - 25-

35mm, Implant Height - 8-10mm

SJ136	SJM Biocor Heart Valve	Stented Porcine tissue valve	Aortic Valves - Tissue Annulus Diameter - 21 	$4,445.00

- 29mm

Mitral Valves - Tissue Annulus

Diameter - 25-35mm

Group 2b - Stented, pericardial

Edwards Lifesciences Pty Ltd

EL056	Magna Mitral	Carpentier-Edwards PERIMOUNT Magna Mitral 	25, 27, 29, 31 and 33mm	$5,000.00	$5,690.00

Bioprosthesis, Model 7000TFX

Sorin Group

SA130	Mitroflow	Pericardial Bioprosthesis	19-27mm	$5,000.00

(p)  Pericardial

Edwards Lifesciences Pty Ltd

EL058	Magna Ease	Carpentier - Edwards PERIMOUNT Magna Ease 	19, 21, 23, 25, 27 and 29mm	$5,000.00	$6,100.00

Bioprosthesis, Model 3300TFK

B (Bovine), E (Equine), P (Porcine)

Edwards Lifesciences Pty Ltd

EL031	Carpentier-Edwards Perimount Pericardial Bioprosthesis 	Carpentier-Edwards Pericardial Bioprosthesis. 	Models 2900/6900 19-33mm, Model 6900P 	$5,000.00

- Models 2900/6900  Carpentier-Edwards Perimount 	Composition: Bovine Pericardium; Elgiloy Alloy; Silicone 	25, 27, 29, 31, 33mm

Plus Pericardial Bioprosthesis Mitral - Model 6900P	Rubber, Polytetrafluoroethylene

Prostheses List by Category, Groups and Sponsor	Page 12 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EL039	Edwards Perimount Magna Model 3000	Carpentier-Edwards Perimount Magna composition: 	19MM Aortic Pericardial Tissue Valve; 	$5,000.00	$5,690.00

Glutaraldehyde treated bovine pericardium/elgiloy wireform	21MM Aortic Pericardial Tissue Valve;

stent/polyester band/silicone rubber suture 	23MM Aortic Pericardial Tissue Valve;

ring/polytetrafluoroethylene cloth/polyester cloth.	25MM Aortic Pericardial Tissue Valve;

27MM Aortic Pericardial Tissue Valve;

29MM Aortic Pericardial Tissue Valve

Group 2c - Non-Stented

Medtronic Australasia Pty Ltd

MC015	Freestyle bioprosthesis	Models 995xx, 995MSxx	19 - 35mm	$5,110.00	$5,350.00

St. Jude Medical Australia Pty Ltd

SJ038	St Jude Medical Toronto SPV Valve Model SPA-101, 	Tissue Heart Valves, Bioimplant	TSPV: 21 - 29mm, Bioimplant Aortic: 21-	$4,900.00

St Jude Medical Bioimplant Heart Valve	27mm, Bioimplant Mitral: 27-32mm

Equine

Advanced Biomedical Pty Ltd

AB070	ATS 3f Aortic Bioprosthesis (EQUINE)	Model 1000 - EQUINE Pericardium Bioprostheseis (non 	19 - 29 mm	$5,000.00

stented)

Group 2: Dual Chamber ICD's

Generation 2

A

Guidant Australia Pty Ltd

GU107	Ventak Prizm HE DR	Model 1853 & Model 1858, titanium, dual chamber, 	One size only	$40,560.00

adaptive rate

Generation 3

Biotronik Australia Pty Ltd

BT076	Lumos DR-T	Dual Chamber ICD with home monitoring	one size only	$43,680.00

BT091	Lumax 300 DR-T	ICD-DR with bidirectional Home Monitoring	One size only	$43,680.00

Guidant Australia Pty Ltd

GU111	Ventak Prizm II DR	Model 1861, titanium, dual chamber, adaptive rate	One size only	$43,680.00

Prostheses List by Category, Groups and Sponsor	Page 13 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GU132	Vitality DR Model 1871	This device acts to defibrillate the heart chambers when the 	Model 1871 Vitality DR Dual Chamber Rate 	$43,680.00

patient enters into an arrhythmia or uses shocks or anti 	Responsive Pacemaker/Defibrillator

tachy pacing to revert Ventricular Tachycardia (VT) or

Ventricular Fibrillation (VF). While also acting as a dual

chamber pacemaker.

GU149	Vitality 2 DR - Model T165	Implantable Cardiac Defibrillator	30cc ; 82g	$43,680.00

GU150	Vitality 2 EL DR - Model T167	Implantable cardiac Defibrillator	35cc ; 90g	$43,680.00

Sorin Group

SA140	OVATIO DR 6550	Titanium dual chamber ICD, 29 cc	29cc	$43,680.00

St. Jude Medical Australia Pty Ltd

SJ049	Epic Plus DR Model V-236 Implantable Cardioverter 	Dual Chamber sensing, bradycardia pacing with atrial 	33cc	$43,680.00

Defibrillator	fibrillation suppression

SJ070	Epic + DR Model V-233 ICD	Dual Chamber Implantable Cardio-verter Defibrillator	33cc 70g	$43,680.00

SJ071	Epic + DR Model V-239 ICD	Dual chamber implantable cardio-verter defibrillator	33cc 70g	$43,680.00

SJ092	Epic II + DR V-258	Epic II + DR V-258 Implantable Cardioverter Defibrillator	35cc, 72g	$43,680.00

SJ101	Epic II DR V-255	Epic II DR V-255 Implantable Cardioverter Defibrillator	34cc, 72g	$43,680.00

A

Biotronik Australia Pty Ltd

BT086	Lumax 340 DR-T	ICD-DR 34 J with bidirectional Home Monitoring. Dual 	One Size Only	$45,760.00

chamber

BT101	Lumax 540 DR-T	High Energy, Dual-Chamber ICD (Implantable Cardiac 	Diamensions: 66*55*13mm, Volume/Weight: 	$45,760.00

Defibrillator) with Advanced Patient Management Via 	37.2cc/92g

unique Home Monitoring Technology incorporating

Automatic Ventricular Threshold Monitoring

Boston Scientific Australia Pty Ltd

BS128	Confient RF HE	Dual chamber, high energy implantable cardioverter 	44cc, 87.5g	$45,760.00

defibrillator with wireless radio frequency capability

BS134	TELIGEN 100 HE DR 4-SITE	High energy dual chamber ICD with 4 SITE (GDT-LLH) 	31.55cc, 9.9mm	$46,510.00	$47,760.00

inline RV connector

Prostheses List by Category, Groups and Sponsor	Page 14 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS135	Teligen 100 DR DF-1/IS-1	High energy dual chamber ICD	31.5cc, 9.9mm	$45,760.00

St. Jude Medical Australia Pty Ltd

SJ011	Atlas DR Model V-240	Dual chamber implantable cardioverter defibrillator with 	37cc	$45,760.00

rate response

SJ063	Atlas DR Model V-242 ICD	Implantable Dual Chamber Cardio-verter Defibrillator	38cc/78g	$45,760.00

SJ068	Atlas + DR Model V-243 ICD	Implantable Dual Chamber Cardio-verter Defibrillator	38cc, 78g	$45,760.00

SJ115	Atlas II+ DR V-268	Dual Chamber Cardioverter Defibrillator	39cc, 78g	$45,760.00

SJ120	Current DR RF 2207	Dual Chamber Cardioverter Defibrillator with RF Telemetry	80g, 42cc	$45,760.00

SJ123	Current DR 2107	Dual Chamber Cardio-verter Defibrillator	39cc 78g	$45,760.00

SJ143	AnalyST Accel DR CD2219-36	Dual Chamber cardioverter defibrillator with RF telemetry 	80g, 42cc	$45,760.00

and ST Segment Monitoring

SJ144	AnalyST DR Model CD2217-36	Dual Chamber cardioverter defibrillator with RF telemetry 	80g, 42cm	$45,760.00

and ST Segment Monitoring

SJ153	Current Accel DR RF CD2215-36	Dual Chamber Cardioverter Defibrillator with RF Telemetry	80g, 42cc	$45,760.00

A,c

Medtronic Australasia Pty Ltd

MC814	Secura DR	Fully Automatic, Wireless Implantable cardioverter 	37cc	$45,760.00	$48,152.00

defibrillator with high energy capability and therapies for

ventricular and atrial tachyarrhythmia

c

Guidant Australia Pty Ltd

GU137	Vitality AVT	Dual chamber defibrillator, with atrial and ventricular therapy	One size only	$45,760.00

GU157	Vitality AVT - Model A155	Implantable cardiac defibrillator with both Atrial and 	30cc	$45,760.00

Ventricular tachyarrhythmia therapy

Medtronic Australasia Pty Ltd

MC721	Virtuoso	DR ModelImplantable Cardioverter Defibrillator, Dual 	37cc, 68g	$45,760.00

Chamber

Prostheses List by Category, Groups and Sponsor	Page 15 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 3 - Cardiothoracic Valve Conduits

Group 3a - Mechanical Valve

Advanced Biomedical Pty Ltd

AB001	ATS Medical open pivot aortic valved graft model 502AG	Pyrolythic Carbon, Double Velour Polyester, Titanium	21- 33mm	$6,950.00

Medtronic Australasia Pty Ltd

MC198	Medtronic Hall rotatable aortic valved collagen 	Titanium, pyrolite, dacron	20 - 33mm	$6,950.00

impregnated conduit Model R7700

Sorin Group

SA128	CarboSeal Ascending Aortic Prosthesis, sterile, 	Mechanical Conduit	AP 21-33mm, CP 21 - 33mm	$6,950.00

CarboSeal Ascending Aortic Prosthesis with Handle

Model AP21, Model AP23, Model AP25, Model

AP27, Model AP29, Model AP31, Model AP33,

Carboseal Valsalva

St. Jude Medical Australia Pty Ltd

SJ036	St Jude Medical Coated Aortic Valved Graft	Coated Aortic Valved Graft 	21mm - 33mm	$6,950.00

SJ104	SJM Masters Series Aortic Valved Prosthesis - VAVGJ	St Jude Medical Mechanical Heart Valve sewn into the 	Annulus Diameter 19-29mm	$6,950.00

base of a woven polyester fibre graft which has been

impregnated with bovine-derived gelatin

Group 3b - Tissue Valve, stented porcine

Medtronic Australasia Pty Ltd

MC012	Medtronic Hancock Valved Conduit Model 100/150	Porcine bioprosthesis, dacron	12, 14, 16, 18, 20, 22, 25, 30mm.	$5,900.00	$6,800.00

Group 3: ICD's with CRT

Generation 2

Biotronik Australia Pty Ltd

BT088	Lumax 300 HF-T	CRT-D with bidirectional Home Monitoring	One size only	$45,760.00

Prostheses List by Category, Groups and Sponsor	Page 16 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Boston Scientific Australia Pty Ltd

BS112	Contak Renewal 4 RF CRT-D	CRT-D with RF telemetry, IS-1 connector H230	39cc, 82g	$47,840.00

BS113	Contak Renewal 4 RF CRT-D	CRT-D with RF telemetry, IS-1 connector H235	39cc, 82g	$47,840.00

BS129	LIVIAN CRT-D	CRT-D (IS-1 and LV-1 connectors)	40cc, 79.5g, 14.5mm	$47,840.00

Guidant Australia Pty Ltd

GU134	Contak Renewal 2	This device acts to defibrillate the heart chambers when the 	One Size Only	$45,760.00

patient enters into an arrhythmia or uses shocks or anti

tachy pacing to revert Ventricular Tachycardia (VT) or

Ventricular Fibrillation (VF). While also acting as a

biventricular pacemaker.

GU147	Contak Renewal 4 CRT-D Model H190, Model H195	Implantable dual-chamber defibrillator	One size only	$45,760.00

Sorin Group

SA138	OVATIO CRT-D 6750	Titanium, dual chamber ICD with CRT	30cc	$45,760.00

St. Jude Medical Australia Pty Ltd

SJ062	Epic HF Model V-339 Implantable Cardiac Defibrillator	Cardioverter/defibrillator with dual chamber (atrial and RV)	One size only	$45,760.00

sensing and bradycardia pacing with ventricular

resynchronisation

SJ067	Epic + HF Model V-350 ICD	Epic + HF V-350 ICD is a cardioverter defibrillator with 	36cc / 73g	$45,760.00

dual chamber (atrial and RV) sensing and bradycardia

pacing with ventricular resynchronisation therapy.

SJ098	Epic II+ HF V-357	Epic II + HF V-357 Cardiac Resynchronisation Therapy 	36cc, 74g	$45,760.00

Defibrillator with V-V Timing programmability

SJ100	Epic II HF V-355	Epic II HF V-355 Cardiac resynchronisation Therapy 	36cc,73g	$45,760.00

Defibrillator with V-V Timing programmability

SJ145	Promote Accel CD3215-30	Cardiac Resyncronisation Therapy Defibrillator with RF 	76g, 39cc	$45,760.00

Telemetry

Prostheses List by Category, Groups and Sponsor	Page 17 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

A

Biotronik Australia Pty Ltd

BT089	Lumax 340 HF-T	CRT-D 34 J with bidirectional Home Monitoring	One Size Only	$47,840.00

BT102	Lumax 540 HF-T	High Energy, Three Chamber ICD (Implantable Cardiac 	Diamensions: 66*59*13 mm, Volume/Weight:	$47,840.00

Defibrillator) with Advanced Patient Management Via 	 39.8cc/94g

unique Home Monitoring Technology incorporating

Automatic RV/LV Threshold Monitoring and Extended

Longevity.

Boston Scientific Australia Pty Ltd

BS114	Contak Renewal 4 RF CRT-D	CRT-D with RF telemetry, IS-1 connector H239 High 	43cc, 90g	$47,840.00

Energy

BS130	LIVIAN CRT-D HE	CRT_D RF High Energy (IS-1 and LV-1 connectors)	44cc, 87.5g, 14.5mm	$50,000.00

BS138	COGNIS 100 HE 4-SITE	High Energy CRT-D with 4SITE (GDT-LLHH) inline RV 	32cc, 9.9mm	$50,750.00	$52,000.00

connector

BS139	COGNIS 100 HE (DF-1/IS-1 & DF-1/LV-1)	High Energy CRT-D (DF-1/IS-1 & DF-1/LV-1connectors)	32.5cc, 9.9mm	$50,000.00

Guidant Australia Pty Ltd

GU144	Contak Renewal 4 HE CRT-D Model H197, Model 	Implantable dual-chamber defibrillator	one size only	$47,840.00

H199

Medtronic Australasia Pty Ltd

MC720	Concerto CRT-D	Implantable Cardioverter Defibrillator with Cardiac 	38cc	$50,000.00

Resynchronisation Therapy

St. Jude Medical Australia Pty Ltd

SJ064	Atlas + HF Model V - 341 ICD - Defibrillator, 	Atlas + HF ICD is a cardioverter defibrillator with dual 	40cc/81g	$47,840.00

Implantable, automatic, dual-chamber	chamber (atrial and RV) sensing and bradycardia Pacing

with ventricular resynchronisation therapy.

SJ109	Atlas II+ HF V-367	Cardiac Resynchronisation Therapy Defibrillator with V-V 	41cc, 79g	$47,840.00

Timing Programmability

SJ117	Promote CRT-D 3107	Cardiac Resynchronisation Therapy Defibrillator	41cc, 80g	$47,840.00

Prostheses List by Category, Groups and Sponsor	Page 18 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ128	Promote RF CRT-D 3213	Cardiac Resynchronisation Therapy Defibrillator with RF 	43cc, 82g	$47,840.00

Telemetry

c

Guidant Australia Pty Ltd

GU154	Contak Renewal 4 AVT CRT -D - Model M170 and 	Implantable Cardioverter Defibrillator with Cardiac 	37cc; 89g	$50,960.00

M175	Resynchronisation Therapy

GU155	Contak Renewal 4 AVT HE CRT - D - Model M177, 	Implantable Cardioverter Defibrillator with cardiac 	40cc; 89g	$52,000.00

M179	resynchronisation Therapy

Medtronic Australasia Pty Ltd

MC812	Consulta CRT-D	Fully Automatic, Wireless Implantable cardioverter 	38cc	$52,000.00

defibrillator with cardiac resynchronization therapy (CRT),

and therapies for ventricular and atrial tachyarrhythmia

Group 4 - Cardiothoracic Atrio-Ventricular Rings and Bands

Group 4a - Ring, Standard

Edwards Lifesciences Pty Ltd

EL028	Baxter Sterile Grafts, Implants & Prostheses, Non-	Carpentier-Edwards Classic Annuloplasty Ring. 	24mm-40mm	$2,200.00

Animal Origin Annuloplasty: Ring-Mitral Ring with 	Composition: Titanium Alloy; Silicone Rubber; Polyester

Holder; Mitral Cosgrove-Edwards Annuloplasty System 	Fabric Carpentier-Edwards Physio Annuloplasty Ring.

Model 4600; Classic Annuloplasty Ring-Tricuspid	Composition: Elgiloy Bands; Polyester Film Strips; Silicone

Rubber; Polyester Cloth, Cosgrove-Edwards Annuloplasty

Band. Composition: Silicone Rubber; Polyester Cloth.

Carpentier-Edwards Tricuspid Ring. Composition: Titanium

Alloy; Silicone Rubber; Polyester Fabric

Medtronic Australasia Pty Ltd

MC005	Medtronic Duran Annuloplasty Ring; Duran Ancore Ring 	Annuloplasty Devices - Models 610R & 620R Silicone / 	Model 610R 25-35mm & Model 620R 23-	$2,200.00

620R; Duran Ancore Chordal Model 620RG	Barium Sulphate, Dacron.	35mm

Sorin Group

SA127	AnnuloFlo Annuloplasty System	Annuloflex Ring or AnnuloFlo Ring	26-36mm	$2,200.00

St. Jude Medical Australia Pty Ltd

SJ035	SJM Tailor Annuloplasty Ring	Fully Flexible	25mm - 35mm	$2,200.00

Prostheses List by Category, Groups and Sponsor	Page 19 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 4b - Ring, with modification

Edwards Lifesciences Pty Ltd

EL049	Edwards Etlogix Annuloplasty Ring	Titanium/silicon/dacron polyester cloth/plastic template 	24mm/26mm/28mm/30mm/32mm/34mmd	$2,400.00

Mitral valve annular repair device designed specifically for

patients with Ischemic Mitral regurgitation

EL057	Geoform	Geoform annuloplasty ring Model 4200 with Holder	26, 28, 30 and 32mm	$2,400.00

Medtronic Australasia Pty Ltd

MC745	CG Future Composite Ring	Semi-rigid mitral annuloplasty ring, with anterior flexibility	24, 26, 28, 30, 32, 34, 36 & 38mm	$2,400.00

MC844	Profile 3D Annuloplasty Ring	3D, rigid annuloplasty ring with physiologic mitral valve 	Diameter (mm) 24 - 40mm	$2,400.00

shape

St. Jude Medical Australia Pty Ltd

SJ087	St Jude Medical Rigid Saddle Ring	Rigid Annuloplasty Ring	24 - 34mm	$2,400.00

Group 4c - Band, Standard

Edwards Lifesciences Pty Ltd

EL050	Edwards MC3 Tricuspid Annuloplasty System	Annuloplasty Ring, titanium/silicone/polyester velour 	26mm to 36mm in 2mm increment	$2,400.00

cloth/plastic template

Group 4d - Band, with modification

Medtronic Australasia Pty Ltd

MC709	Posterior Annuloplasty Band;  Colvin - Galloway Future 	Annuloplasty - Model 610B & 620B Silicone / Barium 	Model 610B: 25-35mm; Models 620B & 	$2,200.00

Band Model 638B; Duran Ancore Band 620B; Duran 	Sulphate, Dacron. Models 638B semi-regid metal alloy 	620BG: 23-35mm, Model 638B - 26-38mm

Ancore Chordal Model 620BG	core, silicone coating, polyester knit fabric, kit includes-

band, malleable handle, template with suture markers, sizers

St. Jude Medical Australia Pty Ltd

SJ088	SJM Tailor Annuloplasty Band	Flexible double-velour, polyester fabric	25 - 35mm	$2,200.00

Prostheses List by Category, Groups and Sponsor	Page 20 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 4: Single Chamber Pacemakers

Generation 1

St. Jude Medical Australia Pty Ltd

SJ053	Verity Adx Model XL SC 5056 implantable pacemaker	Single Chamber multi-programmable rate-adaptive pacing 	10.5cc, 23g	$4,264.00

device with extended longevity

Generation 2

St. Jude Medical Australia Pty Ltd

SJ076	Verity Adx Model  XL SR 5157 M/S implantable 	Single Chamber  multi-programmable rate-adaptive pacing 	11cc, 23g	$5,928.00

pacemaker	devices with extended longevity

Generation 3

Biotronik Australia Pty Ltd

BT046	Protos VR/CLS	Single chamber rate responsive, closed loop system.	One size only	$5,928.00

BT062	Philos II SR	Multiprogrammable, Rate Responsive, SSIR pacemaker	One size only	$5,928.00

BT080	Cylos VR	single chamber dual sensor rate responsive	one size only	$5,700.00

BT106	Cylos 990 SR	Single-chamber pacemaker with Closed Loop Stimulation 	57 x 39 x 6mm / 27g	$5,928.00

(CLS)

Boston Scientific Australia Pty Ltd

BS124	Insignia AVT 1192	Single chamber pacemaker	10cc, 23.4g	$6,000.00

BS145	Altrua 20 SR	Single chamber pacemaker	10cc - 15cc	$5,928.00

BS147	Altrua 40 SR	Single Chamber pacemaker	10cc - 15cc	$5,928.00

BS149	Altrua 50 SR	Single chamber pacemaker	10cc - 15cc	$5,928.00

BS152	Altrua 60 SR	Single Chamber pacemaker	10cc - 15cc	$5,928.00

Guidant Australia Pty Ltd

GU124	Insignia Entra SR Models 1195 & 1198	Single Chamber Rate Responsive Permanent Pacemaker	One size only	$5,928.00

Prostheses List by Category, Groups and Sponsor	Page 21 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GU126	Insignia Plus SR Model 1194	Single Chamber Rate Responsive Permanent Pacemaker	One size only	$5,928.00

GU139	Insignia Ultra SR Lodel 1190	Implantable Cardiac Pacemaker	One size only	$5,928.00

Medtronic Australasia Pty Ltd

MC728	Adapta Pacemaker	SR PacemakerModels ADSR01, ADSR06, ADSR03	9.7 - 11.0cc21.5 - 22.5g	$5,928.00	$6,188.00

Sorin Group

SA137	Symphony SR	Titanium	one size only	$5,928.00

SA142	Reply™ SR	Single chamber permenent pacemaker with rate response 	37 x 41.5 x 6.1mm	$5,928.00

modulation	19 Grams

7.5 cm3

St. Jude Medical Australia Pty Ltd

SJ055	Integrity ADx Model SR 5160 implantable pacemaker	Single Chamber multi-programmable rate-adaptive pacing 	8cc, 17g	$5,928.00

device

SJ060	Identity ADx Model SR 5180 implantable pacemaker	Single Chamber multi-programmable rate-adaptive pacing 	8cc, 18g	$5,928.00

device

SJ077	Verity Adx Models XL SR 5156 implantable pacemaker	Single Chamber  multi-programmable rate-adaptive pacing 	11cc, 23g	$5,928.00

devices with extended longevity

SJ090	Victory SR 5610	single chamber rate responsive pacemaker	41x44x46mm 17g 8cc	$5,928.00

SJ105	Zephyr SR 5620	Single Chamber Rate-Responsive Pacemaker	8cc, 17g	$5,928.00

SJ131	Zephyr XL SR 5626	Single-Chamber Rate-Responsive Pacemaker	23.5g and 10.4cc	$5,928.00

a

St. Jude Medical Australia Pty Ltd

SJ027	St Jude Medical Microny II SR+ Model 2525T 	Single Chamber Rate Responsive Pacemaker	Volume 5.9cc, Weight 12.8gm	$5,928.00

Pacemaker

Group 5 - Cardiothoracic Membranes and Patches

Group 5a - Tissue

Advanced Biomedical Pty Ltd

AB066	Supple Peri-Guard (10 x 16cm)	Model No PC1016SN - 10 x 16 Bovine pericardium 	10 x 16cm	$760.00

patch

AB067	Supple Peri-Guard (8 x 14cm)	Nodel No PC0814SN - 8 x 14 Bovine pericardium patch	8 x 14cm	$700.00

Prostheses List by Category, Groups and Sponsor	Page 22 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AB068	Supple Peri-Guard (6 x 8cm)	Model No PC0608SN -6 x 8cm Bovine pericardium patch	6 x 8cm	$610.00

AB069	Supple Peri-Guard (4 x 4cm)	Model No PC0404SN - 4 x 4cm Bovine pericardium 	4 x 4cm	$350.00

patch

Edwards Lifesciences Pty Ltd

EL033	Baxter Augmentation / Substitution Material, Human or 	Edwards Pericardial Patch. Bovine Pericardium.	10cm x 16cm	$760.00

Animal Origin, Sterile Pericardial Patch.

Group 5b - Synthetic, Cardiovascular

W L Gore & Associates

GT117	Gore-Tex - Cardiovascular Patch	ePTFE	0.4mm Thickness 2 x 9cm	$240.00

GT118	Gore-Tex - Cardiovascular Patch	ePTFE	0.4mm - 3 x 6cm	$280.00

0.6mm - 2.5cm x 15cm & 5cm x 7.5cm

GT120	Gore-Tex  Cardiovascular Patch	ePTFE	0.6mm Thickness 5 x 15cm	$521.00

GT121	Gore-Tex Cardiovascular Patch	ePTFE	0.6mm Thickness 10 x 15cm	$945.00

GT126	Acuseal Cardiovascular Patch Vascular	ePTFE	0.5mm Thickness 1 x 9cm; 0.8 x 7.5cm	$223.00

GT127	Acuseal Cardiovascular Patch Cardiac	ePTFE	0.5mm Thickness 3 x 6cm & 5 x 7.5cm	$270.00

Group 5c - Synthetic, Non-cardiovascular

W L Gore & Associates

GT122	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 6 x 12cm	$360.00

GT123	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 8 x 16cm	$643.00

GT124	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 12 x 12cm	$748.00

GT125	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 15 x 20cm	$1,455.00

Prostheses List by Category, Groups and Sponsor	Page 23 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 5: Dual Chamber Pacemakers

Generation 1

Boston Scientific Australia Pty Ltd

BS123	Insignia AVT 882	VDD Pacemaker	10.0cc, 23.5g	$5,200.00

BS150	Altrua 50 VDD	VDD Pacemaker	10cc - 15cc	$5,200.00

Guidant Australia Pty Ltd

GU079	Pulsar Model VDD 870	Titanium	3.2mm/IS-1	$5,200.00

St. Jude Medical Australia Pty Ltd

SJ050	Verity ADx Model XL DC 5256 Dual - Chamber 	Dual Chamber multi-programmable rate-adaptive pacing 	11cc, 23.5g	$5,200.00

pacemaker	devices with extended longevity

SJ061	Identity Adx Model XL DC 5286 Dual Chamber 	Identity ADx Model XL DC Model 5286 is an implantable,	11cc, 23.5g	$5,200.00

Pacemaker	 multi-programmable rate-adaptive pacing device with AF

suppression

Generation 2

Medtronic Australasia Pty Ltd

MC713	Adapta Pacemaker	VDDR PacemakerModels ADVDD01	11.1cc23.6g	$6,760.00

St. Jude Medical Australia Pty Ltd

SJ054	Identity ADx Model VDR 5480 implantable pacemaker	Single Chamber multi-programmable rate-adaptive pacing 	8cc, 18g	$6,760.00

device with extended longevity

SJ057	Verity ADx Model XL VDR 5456 implantable 	Single Chamber multi-programmable rate-adaptive pacing 	11cc, 23.5g	$6,760.00

pacemaker	device with extended longevity

Generation 3

Biotronik Australia Pty Ltd

BT029	Philos DR-A Model 122600 Implantable Pacemaker	Multiprogrammable, rate responsive, DDDR	5mm ports, One size only	$9,360.00

BT047	Protos DR/CLS	Dual chamber, rate responsive, closed loop system.	One size only.	$9,360.00

Prostheses List by Category, Groups and Sponsor	Page 24 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BT060	Philos II DR	Multiprogrammable, rate responsive, DDDR	One size only	$9,360.00

BT071	Philos II DR-T	Dual Chamber Rate Responsive with Home Monitoring	One size only	$9,360.00

BT079	Cylos DR-T	Dual chamber dual sensor rate responsive with home 	one size	$9,360.00

monitoring system option

BT104	Cylos 990 DR	Dual-chamber pacemaker with Closed Loop Stimulation 	57* 43* 6mm/28g	$9,360.00

(CLS)

BT105	Cylos 990 DR-T	Dual-chamber pacemaker with Closed Loop Stimulation 	57*43*6mm/28g	$9,360.00	$12,440.00

(CLS) and Biotronik Home Monitoring Technology

Boston Scientific Australia Pty Ltd

BS126	Insignia AVT 1292	Dual chamber pacemaker	10.8cc, 25.4g	$9,360.00

BS144	Altrua 20 DR	Dual chamber pacemaker with rate response	10cc - 15cc	$9,360.00

BS146	Altrua 40 DR	Dual Chamber pacemaker	10cc - 15cc	$9,360.00

BS148	Altrua 50 DR	Dual chamber pacemaker	10cc - 15cc	$9,360.00

BS151	Altrua 60 DR	Dual Chamber pacemaker	10cc - 15cc	$9,360.00

Guidant Australia Pty Ltd

GU120	Insignia Plus DR Model 1297, Insignia Plus DR Model 	Dual Chamber Rate Responsive Permanent Pacemaker	One size only	$9,360.00

1298

GU121	Insignia Entra DR Models 1294,1295,1296	Dual Chamber Rate Responsive Permanent Pacemaker	One size only	$9,360.00

GU140	Insignia Ultra DR Model 1291	Implantable Cardiac Pacemaker	One size only	$9,360.00

GU141	Insignia Ultra DR Model 1290	Implantable Cardiac Pacemaker	One size only	$9,360.00

Sorin Group

SA136	Symphony DR 2550	Active Implantable pacemaker	1 size only	$9,360.00

SA141	REPLY TM DR	Dual Chamber permanent Pacemaker with Rate Response 	8cc, Weight: 20grams, Dimensions:41.2 x 	$9,360.00

Modulation	41.5 x 6.1mm

St. Jude Medical Australia Pty Ltd

SJ051	Verity Adx Implantable Pacemaker, Models XL DR 	Dual - Chamber, multi-programmable, rate-responsive 	45x52x6mm,11cc, 23g, 5mm or 6mm M/S	$9,360.00

5356 and XL DR 5357M/S	pacemaker withAF suppression

SJ056	Integrity ADx Model DR 5360 and XL DR 5366	Dual-Chamber, multi-programmable, rate-responsive 	Model DR 5360 - 8cc, 18g, Model XL DR 	$9,360.00

pacemaker with AF suppression	5366 - 11cc, 23.5g

Prostheses List by Category, Groups and Sponsor	Page 25 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ059	Identity ADx Models DR 5380 and XL DR 5386	Dual-Chamber, multi-programmable, rate-adaptive pacing 	ADx DR 5380: 43x44x6mm, 18g and 8cc	$9,360.00

devices with AF suppression	ADx XL DR 5386: 44x52x6mm, 23.5g and

11cc

SJ089	Victory XL DR 5816 and DR 5810	Dual Chamber Rate Responsive Pacemakers	44x52x6mm; 23.5g; 11cc	$9,360.00

b

Medtronic Australasia Pty Ltd

MC360	EnRhythm	Model P150 1DR, Rate Responsive dual chamber 	21g, 13cc	$11,440.00

pacemaker with Anti-Tachycardia functions: DDDRP

Generation 4

Medtronic Australasia Pty Ltd

MC726	Adapta Pacemaker	DR PacemakerModels ADDR01, ADDRS1, ADDRL1, 	11.1-14.2cc23.6g-31.3g	$11,440.00

ADDR06, ADDR03

St. Jude Medical Australia Pty Ltd

SJ103	Zephyr XL DR 5826 and DR 5820	Dual Chamber Rate-Responsive Pacemaker	5826 - 23.5g, 11cc and 5820 - 18g, 8.5cc	$11,440.00

Group 6 - Cardiothoracic Assisted Anastomic Devices

Medtronic Australasia Pty Ltd

MC680	Spyder	Proximal Anastomotic Device	6-clip assembly	$590.00

Group 6: CRT Pacemakers

Generation 1

Guidant Australia Pty Ltd

GU143	Contak Renewal TR CRT -P Model H120, Model 	Implantable cardiac pacemaker	45x54x8.5mm, 14cc, 26gm	$9,360.00

H125

Generation 2

Biotronik Australia Pty Ltd

BT085	Stratos LV-T	Multiprogrammable Biventricular DDDRV with Home 	One size only	$12,480.00

Monitoring

Prostheses List by Category, Groups and Sponsor	Page 26 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Guidant Australia Pty Ltd

GU142	Contak Renewal TR2 CRT - P Model H140, Model 	Implantable Cardiac pacemaker	45x54x8.5mm, 14cc, 26gm	$12,480.00

H145

Medtronic Australasia Pty Ltd

MC226	Medtronic Insync III Triple Chamber Pacemaker Model 	Titanium	One size only	$12,480.00

8042

St. Jude Medical Australia Pty Ltd

SJ072	Frontier II - Model 5596	Biventricular Cardiac Resynchronisation Device with AF 	49mm(h) x 52(1) x 6(t), 25g	$12,480.00

suppression algorithm - Titanum

a

St. Jude Medical Australia Pty Ltd

SJ150	Promote Accel RF CD3215-36	Cardiac Resynchronisation Therapy Defibrillator with RF 	82g, 43cc	$47,840.00

Telemetry

Group 7 - Cardiothoracic Assisted Fixation Devices

Medtronic Australasia Pty Ltd

MC714	U-Clips (Valve Repair)	Double Arm, Mitral Valve Repair	2-packs	$510.00

7b - Other

Medtronic Australasia Pty Ltd

MC765	U-Clips	Nitinol Clips, 8-pack	Needle Lengths: 6.5mm - 9.5mm, 8-pack	$336.00

MC772	U-Clips	Nitinol Clips, 2-pack	Needle Lengths: 6.5mm - 9.5mm, 2-Pack	$84.00

Group 7: ICD Leads

Sub -Group 1: Coronary Sinus Leads

Medtronic Australasia Pty Ltd

MC026	Medtronic Transvene SVC Lead Model 6937;	Model 6937-35, Model 6937-52, Model 6937-58, Model	35 - 110cm x  660mm	$2,340.00

6937-110; Silicone;

Prostheses List by Category, Groups and Sponsor	Page 27 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sub -Group 2: Subcutaneous Leads

Guidant Australia Pty Ltd

GU123	Endotak SQ Array XP Lead Model 0085	Endotak SQ Array XP Lead Model 0085 is used in 	70 cm	$4,680.00

addition to an Endotak endocardial leads for patients with a

high DFT (Defibrillation Threshold)

Medtronic Australasia Pty Ltd

MC251	Implantable Subcutaneous Defibrillator Lead Model 	Silicone and Platinum Alloy	Lengths 41-85cm inclusive	$4,680.00

6996SQ 41cm, 58cm, 85cm

Sub -Group 5: Transvenous/ Steroid/ Passive  Leads

Biotronik Australia Pty Ltd

BT077	Kentrox SL steriod	Dual shock coil fractal steroid eluting passive fixation 	65, 75cm lengths	$9,000.00

electrode

BT078	Kentrox RV Steroid	single shock coil fractal steroid eluting passive fixation 	65, 75 cm lenghts	$9,000.00

electrode

BT092	Linox TD	Fractal and steroid coated passive fixation quadripolar ICD	65, 74 or 100cm length and 16 or 18mm 	$9,360.00

lead	electrode spacing

BT093	Linox T	Passive fix RV bipolar fractal coated steroid ICD lead	65, 75cm length	$9,360.00

Guidant Australia Pty Ltd

GU112	Endotak Reliance S Lead	Model 0127 & Model 0128, defibrillation lead, 9fr 	59cm, 64cm	$7,500.00

introducer (silicone coated), steroid eluting, high impedence

GU115	Endotak Reliance Lead	Model 0147, Model 0148 & Model 0149, defibrillation 	59cm, 64cm, 90cm	$7,500.00

lead, 9fr introducer (silicone coated), steroid eluting, high

impedence

GU158	Endotak Reliance SG Passive Fixation Lead	Endotak Reliance SG Passive Fixation Lead: Models 0170,	54cm - 90cm	$7,200.00

0171, 0172, and 0173 Implantable cardioverter

defibrillator lead with GORE ™ ePTFE covered coils.

GU159	Endotak Reliance G Passive Fixation Lead	Endotak Reliance G Passive Fixation Lead: Models 0174, 	54cm -90cm	$7,200.00

0175, 0176 and 0177. Implantable Cardioverter

defibrillator lead with GORE ™ ePTFE covered coils

Prostheses List by Category, Groups and Sponsor	Page 28 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC002	Medtronic Sprint Quattro Lead Model 6944RV/SVC 	Silicone and polyurethane	65-100cm	$9,360.00

65cm; Model 6944RV/SVC 75cm; or Model

6944RV/SVC 100cm; Medtronic Sprint Quattro Lead

Model 6944RV/SVC 58cm

St. Jude Medical Australia Pty Ltd

SJ016	Riata Transvenous Tachyarrhythmia Lead Model 1570, 	Quadripolar, dual-coil, steroid eluting, active fixation 	One size only	$9,360.00

Model 1571	tachyarrhythmia leads

SJ083	Riata Transvenous Tachyarrhythmia Lead Model 1572	Tri-polar Passive-Fixation, Steroid Eluting, Single Shock 	60cm, 65cm, 8F introducer	$9,360.00

Coil Tachyarrhythmia Lead

SJ085	Riata iTransvenous Tachyarrhythmia Leads Models 1560	Passive Fixation, Steroid-Eluting, Dual Shock Coil 	60cm, 65cm, 70cm, 8F introducer	$9,360.00

and 1561	Defibrillation Lead

SJ086	Riata i Transvenous Tachyarrhythmia Lead Model 1562	Passive Fixation, Steroid Eluting, Single Shock Coil 	60cm, 65cm, 70cm, 8F introducer	$9,360.00

Defibrillation Lead

SJ110	Riata ST Transvenous Tachyarrhythmia Leads 	Riata ST 7040/41 Passive-Fixation True-Bipolar, Dual-	60 - 75cm, 6.3 Fr, 7 Fr Introducer	$9,360.00

7040/41/42 and 7050/51/52	Coil, Steroid-eluting, Endocardial Defibrillation Leads,

7042 - Single Coil, 7050/51 - Integrated Bipolar, Dual

Coil, 7052 - Integrated Bipolar, Single Coil

SJ113	Riata i TransvenousTachyarrhythmia Leads  1950/51	Riata i 1950/51 - Passive-Fixation Integrated-Bipolar, 	60 - 75cm	$9,360.00

Dual-Coil, Steroid-Eluting, Endocardial Defibrillation Leads

SJ130	Riata ST Optim 7070/1	Passive Fixation, True bipolar, Dual Coil, Steroid Eluting, 	60, 65 and 70cm length, 7Fr introducer	$9,360.00

Endocardial Defibrillation Leads with Optim insulation

overlay

SJ158	Durata 7170, 7171	Passive fixation, true bipolar, dual coil, steroid eluting, 	60, 65 and 70cm	$9,360.00

endocardial defibrillation leads with Optium insulation

overlay

Sub -Group 6: Transvenous/ Steroid/ Active Leads

Biotronik Australia Pty Ltd

BT064	Kentrox SL-S steroid	Fractal coated steroid electrode, dual shock coil	16 and 18 cms tip to second shock coil	$7,488.00

BT068	Kentrox RV-S steroid	Fractal coated steroid electrode, single shock coil	65cm lengths	$7,488.00

Prostheses List by Category, Groups and Sponsor	Page 29 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BT084	Linox SD	Fractal coated and steroid electrode, active fixation 	65, 75cm length, 16, 18mm elec dis	$9,360.00

quadrapolar

BT096	Linox S	Active fix RV bipolar fractal coated steroid IC lead	65, 75cm length	$9,360.00

Guidant Australia Pty Ltd

GU118	Endotak Endurance EZ Leads Model 0154, Model 	Defibrillation lead, steroid eluting, trilumen lead body 	64, 70, 100cm	$7,500.00

0155, Model 0156	contains one conductor for pacing/sensing and two

conductors for defibrillation.  The helix is composed of

platinum iridium.

GU145	Endotak Reliance G Lead Model 0164, Model 0165, 	Implantable defibrillator/pacemaker lead	Lead Lengths: 59 - 90cm	$9,000.00

Model 0166, Model 0167

GU146	Endotak Reliance SG Lead Model 0160, Model 0161, 	Implantable defibrillator/pacemaker lead	Lead Lengths: 59 - 90cm	$9,000.00

Model 0162, Model 0163

GU160	Endotak Reliance Active Fixation Lead	Endotak Reliance Active Fixation Lead: Models 0157, 	54cm - 90cm	$7,200.00

0158 and 0159 Implantable cardioverter defibrillator lead

GU161	Endotak Reliance S Active Fixation Lead	Endotak Reliance S Active Fixation Lead: Models 0137, 	54cm - 90cm	$7,200.00

0138 and 0139

GU163	ENDOTAK RELIANCE G Lead 018 Series	Endotak Reliance G Lead: Models 0184 to 0187.  	59-90cm	$7,200.00

Implantable cardioverter defribrillator lead.  Active fixation.

GU164	ENDOTAK RELIANCE SG Lead 018 Series	Endotak Reliance SG Lead: Models 0180 to 0183.  	59-90cm	$7,200.00

Implantable cardioverter defibrillator lead.  Active fixation.

Medtronic Australasia Pty Ltd

MC208	Medtronic Sprint Quattro Secure Lead Model 6947 	Leads, Defibrillator, Implantable, Silicone, polyurethane, 	58-100cm	$9,360.00

58cm; Model 6947 65cm; Model 6947 75cm; Model 	platinized tantalum coils, steroid eluting tip

6947 100cm

MC834	Sprint Quattro Secure S	Model 6935, Active Fixation Single Coil Defibrillation Lead	52 - 100cm	$9,360.00

St. Jude Medical Australia Pty Ltd

SJ074	Riata Transvenous tachyarrhythmia Leads Model 1582	Tri-polar Active - Fixation, Steroid-Eluting, Single shock 	60cm, 65cm, 8F introducer	$9,360.00

Coil Tachyarrhythmia; Lead

SJ075	Riata Transvenous Tachyarrhythmia Lead Model 1580, 	Quadripolar, dual-coil, steroid eluting, active fixation 	One size only	$9,360.00

Model 1581	tachyarrhythmia leads

Prostheses List by Category, Groups and Sponsor	Page 30 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ081	Riata i Transvenous Tachyarrhythmia Leads Model 	Active fixation leads, Steroid Eluting, Dual Shock Coil 	60cm, 65cm, 75cm, 8F introducer	$9,360.00

1590/1591	Defibrillation Lead

SJ084	Riata i Transvenous Tachyarrhythmia Lead Model 1592	Active Fixation, Steroid Eluting, Single Shock Coil 	60cm, 65cm, 75cm, 8F introducer	$9,360.00

Defibrillation Lead

SJ096	Riata ST 7000/7001/7002	Active-Fixation True-Bipolar, Dual-Coil, (7002 - Single-	60, 65cm 7F introducer	$9,360.00

Coil) Steroid-Eluting Steroid Eluting, Endocardial

Defibrillation Leads

SJ102	Riata ST Transvenous Tachyarrhythmia Leads 	Riata ST 7010/7011 Active-Fixation Integrated-Biopolar, 	60 - 75cm 6.3Fr, 7 Fr Introducer	$9,360.00

7010/7011/7012	Dual-Coil, Steroid-eluting, Endocardial Defibrillation

Leads, 7012 - Single Coil

SJ106	Riata Transvenous Tachyarrhythmia Leads 1940/41/42	Riata 1940/41 Active-Fixation True-bipolar, Dual-Coil, 	60-75cm	$9,360.00

Steroid-eluting, Endocardial Defibrillation Leads, 1942 -

Single Coil

SJ108	Riata i Transvenous Tachyarrhythmia Leads 1962	Riata i 1962 - Active Fixation Integrated-Bipolar, Single-	60 - 75cm	$9,360.00

Coil, Steroid-Eluting, Endocardial Defibrillation Leads

SJ122	Riata ST Optim 7020/1/2 and 7030/1	7020/1 - Active fixation, true bipolar, 7022 - Active 	60, 65 and 75cm length and 7Fr introducer	$9,360.00

fixation, true bipolar - single coil, 7030/1 - Active fixation,

integrated bipolar, dual coil steroid eluting endocardial

defibrillation leads with Optim insulation overlay

SJ157	Durata 7120, 7121, 7122, 7130, 7131	Active fixation bipolar, dual-coil/single coil Steroid-eluting 	60, 65, 75cm	$9,360.00

Endocardial Defibrillation Leads

Sub -Group 7: Epicardial Patches

Medtronic Australasia Pty Ltd

MC027	Model 6721 Unipolar Epicardial Patch Leads S/M/L	Model 6721S-50, Model 6721M-50, Model 6721L-50; 	370, 660, 840mm	$2,340.00

Silicone

Prostheses List by Category, Groups and Sponsor	Page 31 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 8 - Cardiothoracic Grafts (Proximal Aorta)

Group 8b Modified Tube

Terumo Corporation Australia

TU036	Gelweave Valsalva Graft	Woven vascular prosthesis, polyester, gelatin sealed	Diameter 24 - 34 mm, Overall length 18.4 - 	$3,320.00

19.6cm

Group 8c Tube with one side branch

Terumo Corporation Australia

TU038	Gelweave Graft	Straight Thoracic Graft, with antiflo side branch, Polyester, 	20 -34 mm x 20-40 cm	$1,715.00

woven, gelatin sealed

Group 8d Tube with multiple side branches (more than 1)

Terumo Corporation Australia

TU037	Gelweave Plexus Graft	Multi Branched, for Aortic Arch reconstruction, Polyester, 	20 - 34 mm x 40 cm	$2,150.00

Woven, gelatin sealed

Group 8: Pacemaker Leads

Sub-Group 1: Non-transvenous, Bi-Polar, Steroid

Medtronic Australasia Pty Ltd

MC011	Capsure EPI steroid eluting bipolar epicardial lead Model	Silicone	25 - 60cm	$1,716.00

4968 - ventricle

St. Jude Medical Australia Pty Ltd

SJ132	Myodex 1084T	Steroid-Eluting Bipolar Sutureless Myocardial Pacing Lead 	35cm and 54cm	$1,716.00

with Titanium Nitride Electrodes

SJ140	Myodex 1084T and FasTac Flex Lead Implant Tool	Steroid -Eluting Bipolar Sutureless Myocardial Pacing Lead	35cm and 54cm, Lead implant tool - 44cm	$1,966.00

with Titanium Nitride Electrodes and Lead implant tool

with articulating distal end.

Prostheses List by Category, Groups and Sponsor	Page 32 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sub-Group 11: Transvenous, Bi-Polar, Passive, Steroid, Left Ventricular

Biotronik Australia Pty Ltd

BT095	Corox OTW BP	Coronary Sinus bipolar steroid	77, 87 cm length	$6,240.00

Guidant Australia Pty Ltd

GU138	Easytrak 2, Model 4514,4515, 4516, 4517, 4518, 	The Easytrak 2 lead is a dual electrode version of the 	.	$6,240.00

4519, 4520	Easytrak lead.  The Easytrak 2 lead is a coronary sinus

lead, steroid eluting, dual electrode, pace/sense lead.  The

lead provides chronic pacing and sensing of the left ventricle

by placement in the

GU153	Easytrak 2 Is-1 Lead - Models 4542, 4543 & 4544	Implantable left ventricular pacemaker lead	80 to 100cm	$6,240.00

GU156	Easytrak 3 Lead - Models 4521, 4522, 4523, 4524, 	Implantable left ventricular pacemaker lead	80 to 100cm	$6,240.00

4525, 4526 and 4527

GU162	Easytrak 3 IS-1 Lead	Models 4548, 4549 and 4550. Silicone and polyurethane 	Sizes 80 to 100cm	$6,240.00

insulation and polyurethane protective sleeve

GU165	Acuity Steerable Lead	Steerable IS-1 bipolar CS LV LeadModels 4554, 4555,	80cm, 90 cm, 100cm	$6,240.00

4556

Medtronic Australasia Pty Ltd

MC699	Attain OTW Model 4194 Lead	Model 4194	78cm, 88cm	$6,240.00

MC811	Attain Ability 4196 LV Lead	Over the wire dual electrode left ventricular lead	78, 88, and 103 cm	$6,240.00

St. Jude Medical Australia Pty Ltd

SJ099	QuickSite 1056T	Bipolar Steroid-Eluting, Titanium Nitride Coated 	75cm, 6F and 86cm, 6F	$6,240.00

Electrodes Guidewire/Stylet-Placed Keft Heart Lead with

Fast-Pass Coating

SJ139	Quickflex 1156T and XL 1158T	Bipolar, Steroid-Eluting, Titanium Nitride Coated 	Length 75 and 86cm	$6,240.00

Elextrodes, Guidewire/Stylet-Placed Left Heart Lead with

Fast-PassTM Coating

Prostheses List by Category, Groups and Sponsor	Page 33 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sub-Group 13: Transvenous, Active, Steroid, Left Ventricular

St. Jude Medical Australia Pty Ltd

SJ126	QuickSite XL 1058T	Bipolar, Steroid-Eluting, Titanium Nitride Coated 	75-86cm	$6,240.00

Electrodes, Guidewire/Stylet-Placed Left Heart Lead with

Fast-Pass Coating

Sub-Group 2: Non-transvenous, Uni-Polar, Steroid

Medtronic Australasia Pty Ltd

MC053	Capsure EPI steroid eluting unipolar epicardial lead 	Silicone	25 - 50cm	$1,544.00

Model 4965 ventricle

Sub-Group 3: Non-transvenous, Uni-Polar, Non-Steroid

Guidant Australia Pty Ltd

GU037	Myocardial Pacing Lead	Model 4312 and 4316	54cm and 35cm	$1,144.00

Medtronic Australasia Pty Ltd

MC009	Medtronic Epicardial Pacing Leads IS-1 Model 5071	Silicone	35 - 53cm	$1,144.00

Sub-Group 4: Transvenous, Uni-Polar, Passive, Steroid, Right Ventricular/Atrial

Medtronic Australasia Pty Ltd

MC254	CapSure Sense pacemaker lead Models 4073	Titanium Nitride	30 - 85cm	$1,248.00

St. Jude Medical Australia Pty Ltd

SJ078	IsoFlex S, Models 1645K, 1643K, 1635K	Endocardial, Steroid Eluting, Silicone, Passive Fixation 	34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F	$1,248.00

Leads with Fast-Pass Coating

Sub-Group 5: Transvenous, Uni-Polar, Passive, Non-Steroid, Left Ventricular

St. Jude Medical Australia Pty Ltd

SJ033	Aescula LV Model 1055K	Left Ventricular Pacing Lead	75cm	$2,735.00

Prostheses List by Category, Groups and Sponsor	Page 34 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sub-Group 6: Transvenous, Uni-Polar, Passive, Steroid, Left Ventricular

Biotronik Australia Pty Ltd

BT070	Corox OTW UP Steroid	Coronary Sinus Lead	77, 87cm	$3,000.00

Boston Scientific Australia Pty Ltd

BS133	Acuity Spiral	Transvenous Left Ventricular pacing lead	80, 90 & 100cm	$5,000.00

Guidant Australia Pty Ltd

GU056	Easytrak Lead	Model 4510, Model 4511, Model 4512 Transvenous 	65cm, 72cm, 80cm	$3,120.00

Coronary Sinus Lead

GU152	Easytrak IS-1 Lead, Models 4535 to 4538	Implantable left ventricular pacemaker lead	80 - 90cm	$3,120.00

Medtronic Australasia Pty Ltd

MC225	Attain Over the Wire Model 4193	Titanium, polyurethane	78-88cm	$3,120.00

MC730	Attain StarFix LV Lead	Over the wire left Ventrucular Lead	78, 88, 103cm	$5,000.00	$6,240.00

St. Jude Medical Australia Pty Ltd

SJ079	QuickSite Model 1056K	Unipolar, Steroid Eluting, Titanium Nitride Electrode, 	75cm, 6F and 86cm, 6F	$3,120.00

Guidewire/Stylet-placed Left Heart Lead with Fast-Pass

Coating

Sub-Group 8: Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atrial

Biotronik Australia Pty Ltd

BT066	Selox ST	Transvenous Bipolar Passive Steroid Ventricular Pacing 	53 and 60cm lengths	$1,248.00

Lead, fractal coated

BT067	Selox JT	Fractal coated steroid electrode	45 and 53cm lengths	$1,248.00

Guidant Australia Pty Ltd

GU009	Fineline II Sterox IROX Lead	Model 4458, Model 4459	52cm, 58cm	$1,248.00

GU011	Fineline II Sterox IROX Lead	Model 4456, Model 4457	52cm, 58cm	$1,248.00

GU012	Fineline II Sterox IROX Lead	Model 4479, Model 4480	45cm, 52cm	$1,248.00

GU023	Guidant Aust Selute Picotip Steroid Eluting Bipolar Lead	Model 4033, Model 4034, Model 4035, Model 4063, 	45cm , 52cm, 59cm	$1,248.00

Model 4064

Prostheses List by Category, Groups and Sponsor	Page 35 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC010	Medtronic Capsure SP Novus Model 5092; Capsure SP	Silicone Polyurethane	45 -110cm	$1,144.00

Novus Lead Model 5592; Medtronic Capsure Model

4023 Lead; Medtronic Capsure Model 4024 Lead

(med.dexamethasone) Medtronic Capsure Model

4523(MED) Medtronic Capsure Model 4524 Lead;

Medtronic Capsure Model

MC229	Medtronic Capsure SP Novus Model 5594 Lead 30cm	Silicone, platinum	30-100cm	$1,144.00

MC336	Medtronic Capsure Z Novus Model 5054 Pacing Lead	Silicone; Contents: 1 x lead with anchoring sleeve, stylet & 	45-58cm	$1,248.00

guide, 1 x vein lifter, 2 x fixation tools, extra stylets

MC337	Medtronic Capsure Z Novus Model 5554 Pacing Lead	Silicone; Contents: 1 x lead with anchoring sleeve, stylet & 	45-58cm	$1,248.00

guide, 1 x vein lifter, 2 x fixation tools, extra stylets

MC371	Medtronic Capsurefix Model 6940 Pacing Lead;  	Silicone Polyurethane	30 - 85cm	$1,144.00

Medtronic Tined IS-1 Model 4557M; Medtronic

Capsurefix Model 4067/8/4568 Pacing Leads;

Medtronic Capsurefix Model 5067 Pacing Leads;

Medtronic Capsurefix Model 5068 Pacing Leads;

Capsure SP Novus Pacing Lead

MC372	CapSure Sense pacemaker lead Models 4074 & 4574	Titanium Nitride	CapSure Sense Lead Model 4074 - 30cm to 	$1,248.00

85cm; CapSure Sense Lead Model 4574 -

30cm to 53cm

St. Jude Medical Australia Pty Ltd

SJ024	PASSIVE PLUS DX 1342T, 1343K, 1345K, 1346T	Single, passive fixation, steroid eluting, low polarisation 	46-58cm	$1,248.00

lead; Models: Bipolar Atrial Lead, IS-1 Unipolar Atrial

Lead, IS-1 Unipolar Ventricular Lead, IS-1 or Bipolar

Ventricular Lead, IS-1

SJ082	Isoflex S, Models 1646T, 1642T and 1636T	endocardial, Steroid Eluting, Silicone, Passive Fixation 	34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F, 	$1,248.00

Pacing Leads with Fast-Pass Coating	120cm 8F

SJ097	Isoflex P 1644T and 1648T	Endocardial, Steroid Eluting, Polyurethane, Passive-	1648T - 34-85cm 1644T - 34-42cm	$1,248.00

Fixation Bipolar Pacing Leads with Fast-Pass Coating

Prostheses List by Category, Groups and Sponsor	Page 36 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ146	Isoflex 1944T & 1948T	Passive-Fixation, Bipolar, Steriod Eluting, Endocardial 	46cm, 52cm, 58cm	$1,248.00

Pacing Lead with Optim insulation

b

Guidant Australia Pty Ltd

GU028	Guidant Aust Selute Picotip VDD Lead	Model 4340, Model 4341, Model 4342 & Model 4343	.	$1,544.00

Medtronic Australasia Pty Ltd

MC052	Medtronic Capsure VDD2 Model 5038 AV Pacing 	Silicone; Contents: 1 x lead with anchoring sleeve, stylet & 	11.5cm, 13.5cm, 15.5cm	$1,544.00

Lead	guide, 1 x vein lifter, 2 x fixation tools, extra stylets

Sub-Group 9: Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial

Biotronik Australia Pty Ltd

BT063	Selox SR	Lead, pacemaker, implantable, endocardial	45, 53, 60cm length	$1,248.00

BT083	Setrox S	Bipolar active fixation lead with fractal coated and steroid 	length 45, 53, 60cm	$1,248.00

eluting electrode

BT097	Dextrus (marketed by Boston Scientific)	Bipolar, silicone, active fixation, steroid eluting, pacing lead	7Fr, with 45cm, 53cm and 60cm length options	$1,248.00

Guidant Australia Pty Ltd

GU013	Fineline II EZ Sterox IROX Lead	Model 4472, Model 4473 & Model 4474	45cm, 52cm, 58cm	$1,248.00

GU016	Fineline II EZ Sterox IROX Lead	Model 4469, Model 4470 & Model 4471	45cm, 52cm, 58cm	$1,248.00

GU122	Flextend Lead Models 4086, 4087 & 4088	Bipolar, steroid eluting, transvenous silicon pace/sense 	45,52,59cm	$1,248.00

leads with an extendable/retractable active fixation for

implantation into the atrium or ventricle

Medtronic Australasia Pty Ltd

MC008	Medtronic Capsurefix Model 5568 Pacing Leads	Silicone Polyurethane	30 - 85cm	$1,144.00

MC338	Medtronic Capsurefix Novus Model 5076 Pacing Lead	Silicone; Contents: 1 x lead with anchoring sleeve, stylet & 	45-85cm	$1,248.00

guide, 1 x vein lifter, 2 x fixation tools, extra stylets

MC833	CapSureFix Novus Model 4076 Pacing Lead	Active fixation pacemaker lead	45 - 85cm	$1,248.00

Prostheses List by Category, Groups and Sponsor	Page 37 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ023	TENDRIL SDX 1488T, 1388T	Single, Active Fixation, Steroid Eluting, Low Polarisation 	46cm-58cm	$1,248.00

Lead, IS-1

SJ073	Tendril SDX Models 1688T and 1688TC	Endocardial Steroid-Eluting Active Fixation Pacing Lead	100cm, 25cm, 34cm, 40cm, 46cm, 52cm, 	$1,248.00

58cm, 85cm, 7F

SJ118	OptiSense 1699T/1699TC	Endocardial, Bi-polar Active-fixation Pacing Leads with 	40-58cm	$1,248.00

Optim Insulation

SJ125	 Tendril ST 1788T/TC and 1782TC	Endocardial Bipolar Steroid-Eluting Active Fixation Pacing 	40cm, 46cm, 52cm, 58cm, 65cm	$1,248.00

Leads

SJ129	Tendril ST 1888TC and 1882TC	Endocardial Bi-polar Steroid-Eluting Active Fixation Pacing	46-65cm	$1,248.00

Leads

SJ151	OptiSense Model 1999	Active-Fixation Bipolar, Steroid Eluting, endocardial, atrial 	40, 46 & 52cm	$1,248.00

pacing lead with Optim insulation

a

Medtronic Australasia Pty Ltd

MC301	Model 3830 PACING LEADS	Active fixation pacemaker leadComposition: Insulation is 	59 - 75 cm	$2,600.00

polyurethane, Electrodes are Titanium Nitride coated

Platinum, the screw is steriod-coated

Group 9: Pacemaker/ICD Adaptors

Guidant Australia Pty Ltd

GU129	LV-1 Lead Adaptor to IS-1	Connects Left ventricular leads to IS-1 ports in 	One size only	$500.00

pacemakers and defibrillators to replace abnormal cardiac

excitation

GU130	Y Adaptor	Connects multiple defibrillator electrodes to a common 	One size only	$500.00

port, enabling the use of shocks to revert Ventricular

Tachycardia and normal cardiac function to return

Medtronic Australasia Pty Ltd

MC246	DF-I Y-Adaptor/Extender Model 6726 25cm & 37cm	Silicone	Lengths 25cm, 37cm	$537.00

MC778	Oscor Adaptor	Adaptor for LV-1 lead to unipolar and bipolar IS-1	10cm, 17cm and 40cm	$500.00

Prostheses List by Category, Groups and Sponsor	Page 38 of 869

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC832	Adaptor Kit Model 5866-24M, 5866-40M, 5866-37M,	Silicone	14cm	$500.00

Bipolar Lead Adaptor Kit Model 2872

Recorders, Long Term, ECG, Implantable

Medtronic Australasia Pty Ltd

MC763	Reveal XT	Reveal XT Insertable Cardiac Monitor	61 x 19 x 8 mm with a volume of 9cc	$3,900.00

MC768	Reveal DX	Insertable Cardiac Monitor	61 x 19 x 8 mm with a volume of 9cc	$3,900.00

St. Jude Medical Australia Pty Ltd

SJ152	SJM Confirm Model DM2102	Implantable cardiac monitor with atrial fibrillation monitoring.	6.5cc, 12g	$3,635.00	$3,900.00	Temporary Listing

SJ159	SJM Confirm Model DM2100	Implantable cardiac monitor	6.5cc, 12g	$3,635.00	$3,900.00	Temporary Listing

Special Purpose Percutaneous Cardiovascular Devices

Group 1a - Intracardiac Defect Occluders - bileaflet, defect, occluding devices

Medtel Australia Pty Ltd

ME187	AMPLATZER Duct Occluder II	Self expandable multiple Nitinol wire mesh PDA occlusion 	Waist diameter 3-6mm, Nominal length 4-	$10,200.00

device	6mm

Prostheses List by Category, Groups and Sponsor	Page 39 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.2.1 Cochlear Implants

2.1.2.1.2 Cochlear Implants,Implantable Auditory Stimulator,Generation 2*

Pacing Importers Pty Ltd - Life Systems

PI005	Combi C40+ Implantable Auditory Stimulator	Cochlear Implant	One Size Only	$11,450.00

2.1.2.1.3 Cochlear Implants,Implantable Auditory Stimulator,Generation 3*

Cochlear Limited

CO013	Nucleus 24k Cochlear Implant	 Model CI24R (ST) coclear implant.  A Nucleus 3 system 	One size only	$10,600.00

cochlear implant with straight electrode array

Perimodiolar

Cochlear Limited

CO014	Nucleus 24 Contour Advance Cochlear Implant	Model CI24R (CA) coclear implant. A Nucleus 3 system 	One size only	$11,600.00

cochlear implant with the Contour Advance electrode array

2.1.2.1.4 Cochlear Implants, Implantable Auditory Stimulator, Generation 4*

Cochlear Limited

CO024	Nucleus Freedom Implant with Straight Electrode	Speech processor and accessories - Initial	One size only	$12,570.00

Pacing Importers Pty Ltd - Life Systems

PI011	Sonata Ti 100 Cochlear Implant	Cochlear implant, titanium casing, 24 independent current 	45.7mm length, width at coil 29.0mm, width at	$12,570.00

sources, sequential and parallel stimulation modes up to 	 stimulator 24.8mm, thickness at coil 3.7mm,

50,074 pulses per sec, 19 or 24 oval-shaped platinium 	thickness at stiulator 5.9mm.  Standard

electrodes, different sizes	Electrode - length 31.5mm, spacing 2.4mm;

Medium - length: 20.9mm, Spacing 1.9mm;

Compressed (short) - length 12.1mm, Electro

Prostheses List by Category, Groups and Sponsor	Page 40 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PI012	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent current 	Length: 31.5mm, Electrode Spacing: 2.4mm	$12,570.00

sources, sequential and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped platinium

electrodes. Stimulator with standard length electrode array

(contact extent 26.4mm)

PI013	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent current 	Length: 20.9mm, Electrode Spacing: 1.9mm	$12,570.00

sources, sequential and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped platinium

electrodes. Stimulator with medium length electrode array

(contact extent 20.9mm)

PI014	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent current 	Length: 12.1mm, Electrode Spacing: 1.1mm	$12,570.00

sources, sequential and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped platinium

electrodes. Stimulator with short length electrode array

(contact extent 12.1mm)

PI015	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent current 	Length: 4.4mm & 6.6mm, Electrode Spacing 	$12,570.00

sources, sequential and parallel stimulation modes up to 	1.1mm

50,074 pulses per sec, 24 oval-shaped platinium

electrodes. Stimulator with double electrode array (contact

extent 4.4mm and 6.6mm)

PI016	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent current 	Length: 26.4mm, Electrode Spacing: 2.4mm	$12,570.00

sources, sequential and parallel stimulation modes up to

50,074 pulses per sec, 19 oval-shaped platinium

electrodes. Stimulator with standard length electrode array

(contact extent 26.4mm) with incr

PI017	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent current 	Length: 20.9mm, Electrode Spacing: 1.9mm	$12,570.00

sources, sequential and parallel stimulation modes up to

50,074 pulses per sec,19 oval-shaped platinium electrodes.

Stimulator with medium length electrode array (contact

extent 20.9mm) with increas

Prostheses List by Category, Groups and Sponsor	Page 41 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

hybrid

Cochlear Limited

CO043	Nucleus Hybrid L 24 Implant	A Nucleus Freedom cochlear implant featuring a special 	One size	$12,570.00	$13,570.00

16mm, 22 contact point electrode array

Perimodiolar

Cochlear Limited

CO021	Nucleus Freedom Implant with Contour Advance 	Model C124RE (CA), Generation 4 Cochlear implant with 	one size only	$13,570.00

Electrode	perimodiolar electrode array.  Titanium casing, removable

magnet, 22 half-banded platinum electrodes, moulded in a

durable silicone seal

2.1.2.2 Speech Processors

electroacoustic

Cochlear Limited

CO044	Freedom Hybrid Sound Processor (Initial)	The modular sound processor of the Cochlear Hybrid 	One size	$12,950.00

system provides dual electrical and acoustic processing

within a single device. Acoustic amplication is delivered

through the acoustic component and electrical stimuation via

the Nucleus Hybrid L24 implant.

CO045	Freedom Hybrid Sound Processor (Replacement)	The modular sound processor of the Cochlear Hybrid 	One size	$9,065.00

system provides dual electronic and acoustic processing

within a single device. Acoustic amplication is delivered

through the acoustic component and electrical stimulation is

delivered via the Nucleus Hybrid L24 implant.

2.1.2.2.1.2 Speech Processor,Initial,Generation 2

Pacing Importers Pty Ltd - Life Systems

PI006	Tempo+ Auditory Implant Speech Processor	Tempo+ Auditory  Implant Speech Processor	One Size Only	$11,500.00

Prostheses List by Category, Groups and Sponsor	Page 42 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.2.2.1.4 Initial - Generation 4*

Pacing Importers Pty Ltd - Life Systems

PI009	OPUS 2 Speech Processor	Cochlear implant speech processor, fine structure speech 	54.0mm x 35.1mm x 8.7mm	$11,500.00

processing, remote control, interface for assistive listening

devices according to the international hearing aid standard

(initial patient kit)

2.1.2.2.1.4 Speech processor, Initial, Generation 4

Cochlear Limited

CO022	Nucleus Freedom Speech Processor - Initial	Speech processor (modular) and accessories	One size only	$11,500.00

Electro-acoustic

Pacing Importers Pty Ltd - Life Systems

PI007	Duet EAS Hearing System	Cochlear implant speech processor and accoustic hearing 	Length 53.5mm, width 8.5mm, Height 	$12,950.00

aid combined in one device	58.4mm (one size only)

2.1.2.2.2.3 Speech Processor,Replacement,Generation 3

Cochlear Limited

CO019	ESPrit 3G Speech Processor - Replacement	Speech processor, Generation 3	Cable lengths: 6, 8, 10, 20, 28cm	$6,790.00

2.1.2.2.2.4 Replacement - Generation 4*

Pacing Importers Pty Ltd - Life Systems

PI010	Opus 2 Speech Processor Replacement	Cochlear implant speech processor, fine structure speech 	54.0mm x 35.1mm x 8.7mm	$8,050.00

processing, remote control, interface for assistive listening

devices according to the international hearing aid standard

(replacement kit)

2.1.2.2.2.4 Speech Processor, Replacement, Generation 4

Cochlear Limited

CO023	Nucleus Freedom Speech Processor	Speech processor, and accessories - REPLACEMENT	one size only	$8,050.00

Prostheses List by Category, Groups and Sponsor	Page 43 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.2.3 Cochlear Implants, Accessory Kit or Item

2.1.2.3.1 Cochlear Implants - Accessory Kit or Item, Initial

Cochlear Limited

CO020	Nucleus Cochlear Implant Accessory Kit - ESPrit 3G 	Accessory set consists of accessory adapter cable, lapel 	Lapel microphone comes in lengths of 40-	$500.00

Speech Processor	microphone & lapel clip, battery cover set and accessory 	150cm

case

2.1.3 Ear,Bone Anchored Hearing Aid

2.1.3.2 Ear,Bone Anchored Hearing Aid,Osseointegration/abutment screw/pin

Cochlear Limited

CO025	Baha Abutment Snap Coupling	Titanium abutment delivered with a gold screw and holder, 	5.5mm - 9035, 8.5mm - 90410	$895.00

individually packaged and sterile.  The 5/5mm is for

standard use and the 8.5mm for patients that have

persistent regrowth of subcutaneous tissue

CO032	Flange fixture - self tapping fixture with pre-mounted 	Self tapping titanium flange fixture with abutment in two 	Self Tapping 4mm and 3mm with BAHA 	$1,930.00

abutment	sizes:  3mm and 4mm	Abutment

2.1.3.3 Ear,Bone Anchored Hearing Aid,Screw/pin coupling

Cochlear Limited

CO028	BAHA - Cover screw unigrip	Titanium coverscrews, individually packaged and delivered 	One size only	$142.00

sterile.  The cover screws are used to prevent bone

overgrowth of the implant.

2.1.3.4 Ear,Bone Anchored Hearing Aid,Flange fixture

Cochlear Limited

CO030	Self tapping fixture with pre-mounted fixture mount	Self tapping titanium flange fixture premounted with a 	Self Tapping 4mm and 3mm	$1,035.00

disposable fixture mount.  Available in two sizes: 3mm and

4mm.  Used in two stage surgical procedures.

Prostheses List by Category, Groups and Sponsor	Page 44 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.3 Implantable Bone Conduction Hearing System

2.1.3.1.1 Implantable bone conduction hearing system, Sound processor Generation 1 -Body Worn

Cochlear Limited

CO033	Baha Cordelle II sound processor	A powerful sound processor for the Baha hearing system 	One Size	$6,000.00	To be claimed only for patients with deafness

with a bodyworn unit and a head worn transducer.  	who have problems using air conduction or

Available in three colours. Body worn sound processor for 	conventional hearing aids which is made worse

the Baha hearing system.	when a hearing aid mould is worn.

2.1.3.1.2 Implantable bone conduction hearing system Sound processor Generation 2- Body Worn

Cochlear Limited

CO040	Baha Divino sound processor	Head worn digital sound processor for the Baha hearing 	One Size But Left/Right Ear Orientations	$6,000.00

system.  Available in four colours and left and right side

orientations.

CO041	Baha Intenso sound processor	Head worn digital sound processor for the Baha hearing 	One size	$6,000.00

system.  Available in four colours.

2.1.5 Ossicle/Middle Ear Prosthesis

2.1.5.1.1 Ossicle/Middle Ear Prosthesis,Stapes,Metal

Medtronic Australasia Pty Ltd

MC918	The Big Easy Piston	Big Easy Range - MRI Safe, Triple Width Platinum Band, 	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm;	$104.00	$350.00

Double Width Platinum Shaft with Offset Versions	 4.0 - 4.75mm

MC922	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm;	$104.00	$330.00

4.0 - 4.75mm

2.1.5.1.2 Ossicle/Middle Ear Prosthesis,Stapes,Non-metal

Medtronic Australasia Pty Ltd

MC923	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm;	$104.00	$330.00

4.0 - 4.75mm

Prostheses List by Category, Groups and Sponsor	Page 45 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.5.2.1 Ossicle/Middle Ear Prosthesis,Incus,Metal

Stryker Australia Pty Ltd

ST795	Titanium Middle Ear Prostheses	Fisch Incus Prostheses: short, medium, large, Titanium	All Sizes	$238.00

2.1.5.3.1 Ossicle/Middle Ear Prosthesis,Malleus,Metal

Medtronic Australasia Pty Ltd

MC924	Middle Ear Prostheses	Malleus	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm;	$190.00	$330.00

4.0 - 4.75mm

Stryker Australia Pty Ltd

ST796	Titanium Middle Ear Prostheses	Fisch Neomalleus Prostheses, Titanium	1.1x5mm	$190.00

2.1.5.3.2 Ossicle/Middle Ear Prosthesis, Middle Ear Bone, Malleus, Non-Metal

Medtronic Australasia Pty Ltd

MC919	Prostheses Malleus	Hydroxyapatite	0.6 - 4.0mm x 2.7 - 5.0mm x 1.5 - 10.0mm	$190.00	$330.00

2.1.5.4.1 Ossicle/Middle Ear Prosthesis,Middle Ear Bone, Unspecified,Metal

Stryker Australia Pty Ltd

ST798	Titanium Middle Ear Prostheses	Fisch Total Prostheses: with foot, Titanium	0.6x10mm	$104.00

2.1.5.5 Ossicle/Middle Ear Prosthesis, Middle Ear Bone, TORP or PORP

1

Gyrus Australasia Pty Ltd

GY001	Canal Wall Prosthesis	Grote, HA	Small - Large	$104.00	$543.00

GY002	Ossicular Prosthesis Malleus, Incus and Stapes	Goldenberg Footplate - HA	One size only	$104.00	$360.00

GY003	Ossicular Prosthesis	Attic Defect Plate, HA	7-14mm	$104.00	$335.00

GY004	Ossicular Prosthesis Incus 	a) Applebaum HA,  b) Goldenberg HA,  c) Kartusch HA , 	a) small - large, b) one size only, c) short, 	$104.00	$580.00

d) Grote HA, e) Wehrs (single & double notched) HA	medium, long, d) 7-10mm, e) short, average,

medium, long

Prostheses List by Category, Groups and Sponsor	Page 46 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GY005	Ossicular Prosthesis - PORP	Sheehy plastipore, Drum to stapes, Grote Malleus to 	One size only	$104.00	$360.00

stapes, modified, centered or offcentered

GY006	Ossicular Prosthesis - PORP/TORP	Goldenberg Malleable/HA	One Size Only	$104.00	$580.00

GY008	Piston: Stapes Prosthesis	a) Schuknecht Malleus att Piston. Stainless steel, b) 	a) 0.6x5.5mm-0.8x6.5, b) 0.3x0.8x3.5-	$104.00

Cawthorne. Fluoroplastic, c) Fluoroplastic, d) Schuknecht. 	0.3x0.8x6mm, c) 0.6x0.6x3.5-0.8x0.6x6mm,

Stainless steel, e) Causse.  Fluoroplastic	d) 0.4x3.5-0.5x5mm, e) one size only

GY009	Ossicular Prosthesis -TORP 	a) black spanner strut HA, b) black oval top TORP HA, c)	a) one size only, b) 7-10mm, c) 0.5-0.7mm	$104.00	$675.00

black oval top PORP, universal, HA/fluoroplastic

GY010	Ossicular Prosthesis -TORP 	Fisch plastipore, Causse modified plastipore, Shea 	One size only	$104.00	$360.00

modified plastipore/ fluoroplastic, Austin modified

plastipore, Tilt top plastipore

GY011	Ossicular Prosthesis -TORP 	a) Shea malleable, HA/plastipore, b) Shea plastipore	a) one size only, b) 4-8mm	$104.00

GY012	Piston: Stapes Prosthesis	a) Armstrong. Platinum, b) McGee. Stainless steel, c) 	a) 0.6x3.5-0.8x5mm, b) 0.6x3.25-	$104.00

Richards.  Teflon & platinum	0.8x5.5mm, c) 0.4x4-0.4x5mm

GY013	Piston: Stapes Prosthesis	Fisch-Type Platinum or Stainless Steel	0.4mm  x 6mm	$104.00

GY015	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3.5mm - 0.8x5mm	$104.00

GY016	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3mm - 0.8x5.75mm	$104.00

GY078	Dornhoffer Prostheses	Hydroxyapetite head/HAPEX shaft PORP and TORP	0.8mm Shaft Dia TORP, 1.3mm Shaft 	$104.00	$360.00

Diameter PORP

GY081	Piston: Stapes Prosthesis	Smart: Nitinol/Flouroplastic	0.5, 0.6, 0.8 x 3.75-4.75mm	$104.00	$535.00

LMA PacMed Pty Ltd

PM028	Stapes	Bell/Aerial/Angular Prosthesis/Piston  - Gold/Titanium	1.75 - 7.00mm	$104.00	$401.00

PM032	K-Piston	Gold/Titanium	ID 0.4,0.6mm	$104.00	$222.00

Medtronic Australasia Pty Ltd

MC920	Flex H/A Incus Necrosis Prostheses	2.5 - 4.0mm x 10.0mm	$190.00	$490.00

2

Gyrus Australasia Pty Ltd

GY080	Ossicular Chain Prosthesis	Micron adjustable TORP/PORP. Titanium	2-10mm, 2-5mm	$360.00	$500.00

Prostheses List by Category, Groups and Sponsor	Page 47 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC262	Partial Ossicular Reconstruction Implant	Malleus + Incus	0.4 - 1.17mm x 2.2 - 8.8mm x 3.5 - 10.0mm	$360.00

MC921	Middle Ear Prostheses	Malleus+ Incus	Small, Medium, Large, 0.6 x 2.2 x 8.0mm	$360.00

O R Paradigm Pty Ltd

OS001	ALTO Prosthesis	Adjustable Length Titanium Ossicular Chain Reconstruction	Head Size 2.5mm x 3.5mm; Length 2.0mm - 	$360.00	$675.00

Prosthesis	8.0mm; Distal Diameter 0.8mm - 1.2mm

3

Medtronic Australasia Pty Ltd

MC260	Middle Ear Prosthesis	Total Ossicular Reconstruction Implants	0.6 - 0.8mm x 3.0 - 4.0mm x 7.0 - 8.0mm	$360.00	$490.00

MC261	Universal Ossicular Reconstruction Implants - Titanium	Malleus + Incus + Stapes	0.6 - 1.17mm x 0.3 - 4.0mm x 4.75 - 8.0mm	$360.00	$490.00

MC263	Total Ossicular Reconstruction Implant	Malleus + Incus + Stapes	0.5 - 0.6mm x 3.5 - 6.0mm and One Size Only	$360.00	$490.00

2.1.6 Ventilation Tube/Grommet

2.1.6.1.2 Ventilation Tube/Grommet, Stainless steel, Medium-term

Gyrus Australasia Pty Ltd

GY039	Ventilation Tube	Bobbin - Reuter Stainless Steel	1mm  	$20.00

GY040	Ventilation Tube	Bobbin - Reuter Stainless Steel	Without Wire 1.14-1.27mm, w/wire 1mm	$20.00

Medium

Medtronic Australasia Pty Ltd

MC271	Medtronic Vent Tubes	Stainless Steel	1.02 - 1.27mm, 1.58 - 2.7mm	$20.00

2.1.6.2.2 Ventilation Tube/Grommet, Titanium Alloy, Medium-term

Gyrus Australasia Pty Ltd

GY056	Ventilation Tube	Collar Button Titanium	1.14mm	$20.00

GY057	Ventilation Tube	Collar Button Titanium	1.27mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 48 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Med

BR & CT Enterprises Pty Ltd

BC015	Ventilation Tubes - Shepherd	Titanium, w/o wire	1.00mm, 1.25mm lumen	$20.00

BC016	Ventilation Tubes - Shepherd	Titanium with wire	1.00mm, 1.25mm lumen	$20.00

Medium

Medtronic Australasia Pty Ltd

MC272	Medtronic Vent Tubes	Titanium	1.02 - 1.52mm x 0.9 - 4.45mm	$20.00

2.1.6.2.3 Ventilation Tube/Grommet, Titanium Alloy, Long-term

Med

BR & CT Enterprises Pty Ltd

BC012	Ventilation Tubes - Collar Button	Teflon w/wire, and titanium w/o wire	0.76mm, 1.00mm, 1.25mm, 1.50mm lumen	$20.00

BC013	Ventilation Tubes - Collar Button	Titanium w wire	1.00mm, 1.25mm, 1.50mm lumen	$20.00

2.1.6.3.1 Ventilation Tube/Grommet,Plastic,Short-term

Md

Endocorp Pty Ltd

EC024	Exmoor Plastics Ear Vent Drains - Shepards Drain	Teflon Shephards Drain	1.14 mm lumen dia x 2.36 mm inner flange dia	$20.00

x 2.36 mm outer flange dia x 1.42 inter

flange. 2.41 mm total length

Med

Endocorp Pty Ltd

EC019	Exmoor Plastics Ear Vent Drains -  Collar Button	Teflon 	1.14 mm lumen dia x 2.24 mm inner flange dia	$20.00

x 2.24 mm outer flange dia x 1.27 inter

flange. 1.78 mm total length

EC020	Exmoor Plastics Ear Vent Drains  -  Collar Button	Teflon 	1.14 mm lumen dia x 3.0 mm inner flange dia 	$20.00

x 3.0 mm outer flange dia x 1.27 inter flange.

1.78 mm total length

EC021	Exmoor Plastics Ear Vent Drains  -  Collar Button	Teflon 	1.4 mm lumen dia x 2.55 mm inner flange dia 	$20.00

x 2.55 mm outer flange dia x 0.85 inter flange.

1.35 mm total length

Prostheses List by Category, Groups and Sponsor	Page 49 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EC022	Exmoor Plastics Ear Vent Drains - Collar Button 	Teflon 	1.75 mm lumen dia x 2.85 mm inner flange dia	$20.00

x 2.85 mm outer flange dia x 0.95 inter

flange. 1.46 mm total length

Sm

Endocorp Pty Ltd

EC026	Exmoor Plastics Ear Vent Drains - Teflon Shephards 	Teflon Shephards Drain with wire	0.97 mm lumen dia x 2.08 mm inner flange dia	$20.00

Drain with wire grasping feature	 x 2.08 mm outer flange dia x 1.42 inter

flange. 2.41 mm total length

Small

Medtronic Australasia Pty Ltd

MC268	Medtronic Vent Tubes	Fluoroplastic	0.76 - 1.52mm x 2.1 - 9.5mm x 1.0 - 	$20.00

12.0mm

Small, Antimicrobial/Antibacterial

Medtronic Australasia Pty Ltd

MC269	Medtronic Vent Tubes	Activent Antimicrobial Ventilation Tube	1.02 - 1.27mm x 0.9 - 2.4mm	$20.00	$22.00

2.1.6.3.2 Ventilation Tube/Grommet,Plastic,Medium-term

Gyrus Australasia Pty Ltd

GY020	Ventilation Tube	Shepard, fluoroplastic, w/Tab & wire	1.02 -1.14mm	$20.00

GY037	Ventilation Tube	Armstrong Beveled Plain End Fluoroplastic	One size only	$20.00

GY038	Ventilation Tube	Armstrong Beveled Plain End Silcon	One size only	$20.00

GY048	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27mm	$20.00

GY049	Ventilation Tube	Collar Bobbin Fluoroplastic 	0.75mm	$20.00

GY050	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.14mm	$20.00

GY051	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27x0.5mm	$20.00

GY053	Ventilation Tube	Collar Button Fluoroplastic Blue	1.27mm	$20.00

GY054	Ventilation Tube	Collar Button Fluoroplastic w/Wire	1.27mm	$20.00

GY071	Ventilation Tube	Straight Fluoroplastic or Polyethylene 	0.89 x 12mm, 0.86 x 7mm, 1.14 x 12mm, 	$20.00

1.14 x 7mm

Prostheses List by Category, Groups and Sponsor	Page 50 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LMA PacMed Pty Ltd

PM065	Tympo Vent	Otological ventilation tubes, short medium term, Donaldson 	Length 2.2	$20.00

fluoroplastic/blue

PM066	Tympo Vent	Otological ventilation tubes, straight tube	Length 7.0 - 7.2mm	$20.00

PM088	Tympo Vent	Otological ventilation tubes, donaldson, reuter bobbin, 	Length 1.5mm - 9.8mm	$20.00

shepard

PM089	Tympo Vent	Otological ventilation tubes, short medium term, bevel 	Length 1.8	$20.00

bobbin, fluoroplastic/blue

PM091	Tympo Vent	Otological ventilation tubes, short medium term, collar 	Length 2.0	$20.00

button, fluoroplastic/blue

Ab

Gyrus Australasia Pty Ltd

GY021	Ventilation Tube	Shepard, Ultrasil Silicon & Blue Poly	1.02 - 1.14mm	$20.00

Med

Endocorp Pty Ltd

EC018	Exmoor Plastics Ear Vent Drains -  Reuter Bobbin 	Without hole, teflon	1.14 mm lumen dia x 2.54 mm inner flange dia	$20.00

x 2.54 mm outer flange dia x 0.76 inter

flange. 1.52mm total length

Medtronic Australasia Pty Ltd

MC925	Vent Tube	Fluoroplastic	1.02 - 1.27mm x 1.0 - 3.5mm	$20.00

Medium, Antimicrobial/Antibacterial

Medtronic Australasia Pty Ltd

MC273	Medtronic Vent Tubes	Fluoroplastic	1.02 - 1.27mm x 1.3 - 3.0mm	$20.00	$22.00

Sm

BR & CT Enterprises Pty Ltd

BC014	Ventilation Tubes - Shepherd	Teflon, w or w/o wire	1.15mm lumen	$20.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG015	Micromedics Ventilation Tubes	Micromedics; Collar Button; 1.27mm lumen; 	$20.00

fluroplastic; box of 6 / box of 50

MG016	Micromedics Ventilation Tubes	Micromedics;Reuter Bobbin;1.0mm / 1.14mm	$20.00

lumen; fluroplastic; box of 6 / box of 50

Prostheses List by Category, Groups and Sponsor	Page 51 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MG017	Micromedics Ventilation Tubes	Micromedics; Shah with wire; mini 0.76mm 	$20.00

lumen; fluroplastic;  box of 6 / box of 50

2.1.6.3.3 Ventilation Tube/Grommet,Plastic,Long-term

Gyrus Australasia Pty Ltd

GY035	Ventilation Tube	Shah. Teflon, Fluorplastic w/Wire	1.14mm	$20.00

GY036	Ventilation Tube	Shah. Teflon, Fluorplastic without Wire	1.14mm	$20.00

GY041	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F Without Holes	1mm	$20.00

GY042	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F Without Holes	1.14mm	$20.00

GY043	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F w/wire	1.14mm	$20.00

GY044	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F	1.14mm	$20.00

GY045	Ventilation Tube	Bobbin - Reuter Fluoroplastic 0.5mm I.F	1.27mm	$20.00

Medium

Medtronic Australasia Pty Ltd

MC277	Medtronic Vent Tubes	Fluoroplastic, C-Flex	0.89 - 1.52mm x 2.3 - 12.0mm	$20.00

Medium, Antimicrobial/Antibacterial

Medtronic Australasia Pty Ltd

MC926	Medtronic Vent Tube	Activent Antimicrobial Ventilation Tube	1.14 - 1.27mm x 0.9 - 3.0mm	$20.00	$22.00

2.1.6.4.1 Ventilation Tube/Grommet,Silicone,Short-term

LMA PacMed Pty Ltd

PM090	Tympo Vent	Otological ventilation tubes, armstrong	Length 3.8 - 10.0mm	$20.00

Medium

Medtronic Australasia Pty Ltd

MC276	Medtronic Vent Tubes	Silicone	0.76 - 1.27mm x 1.0 - 7.5mm	$20.00

Medium, Antimicrobial/Antibacterial

Medtronic Australasia Pty Ltd

MC279	Medtronic Vent Tubes	Antimicrobial Ventilation Tube	1.02 - 1.27mm x 2.7 - 9.1mm	$20.00	$22.00

Prostheses List by Category, Groups and Sponsor	Page 52 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.6.4.2 Ventilation Tube/Grommet,Silicone,Medium-term

Gyrus Australasia Pty Ltd

GY019	Ventilation Tube	Shepard grommet, fluoroplastic or silicon, vent tube w/wire. 	1.02 -1.14mm	$20.00

GY029	Ventilation Tube	T-Tube Richards Modified Soft Silicon 	1.32mm	$20.00

GY033	Ventilation Tube	Grommet - Sha Mini. Teflon	0.76mm	$20.00

GY034	Ventilation Tube	Shah. Teflon, Silicon	5.1mm	$20.00

GY055	Ventilation Tube	Collar Button Silicon	1.27mm	$20.00

GY058	Ventilation Tube	Donaldson Silicon	1.14mm	$20.00

GY059	Ventilation Tube	Donaldson Soft Silicon	1.14mm	$20.00

GY060	Ventilation Tube	Donaldson Silicon w/Tab	1.14mm	$20.00

GY061	Ventilation Tube	Donaldson Fluoroplastic	1.14mm	$20.00

GY063	Ventilation Tube	Duravent Silicon	1.27mm	$20.00

GY067	Ventilation Tube	Shea  w/Tab - Silicone	0.76mm	$20.00

GY068	Ventilation Tube	Shea Parasol w/Tab Small Flange - Silicone	1.02mm	$20.00

GY069	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.02mm	$20.00

GY070	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.52mm	$20.00

Medtronic Australasia Pty Ltd

MC927	Medtronic Vent Tube	1.02 - 1.52mm x 1.3 - 12.0mm	$20.00

Ab

Gyrus Australasia Pty Ltd

GY027	Ventilation Tube	T-Tube Richards Silicon, Soft Silicon, Ultrasil	1.14mm	$20.00

GY028	Ventilation Tube	T-Tube Richards Modified Silicon & Ultrasil	1.32mm	$20.00

GY030	Ventilation Tube	Butterfly T-Tube Silicon & Ultrasil	Silicon - one size only. Ultrasil - one size only.	$20.00

GY032	Ventilation Tube	Armstrong Beveled Grommet Ultrasil Silicon w/Tab	1.14mm	$20.00

GY052	Ventilation Tube	Collar Button Ultrasil Silicon	1.27mm	$20.00

GY062	Ventilation Tube	Donaldson Ultrasil Silicon	1.14mm	$20.00

GY064	Ventilation Tube	Duravent Blue Ultrasil	1.27mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 53 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Med

BR & CT Enterprises Pty Ltd

BC017	Ventilation Tubes - Silicone	Armstrong Grommet, Donaldson w & w/o Tab, Paparella 	1.1mm & 1.5mm lumen	$20.00

1 and Paparella 2 (1.5mm)

Medium

Medtronic Australasia Pty Ltd

MC278	Medtronic Vent Tubes	Silicone	0.76 - 1.27mm x 1.5 - 12.0mm	$20.00

Medium, Antimicrobial/Antibacterial

Medtronic Australasia Pty Ltd

MC270	Medtronic Vent Tubes	Antibacterial/Antimicrobial	1.27 x 2.9 x 1.3mm	$20.00	$22.00

MC280	Medtronic Vent Tube	Antibacterial/Antimicrobial	1.02 - 1.52mm x 1.3 - 12.0mm	$20.00	$22.00

Sm

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG012	Micromedics Ventilation Tubes	Micromedics; Paparella-I / Paparella-II; 	$20.00

1.14mm / 1.42mm lumen; Silicone; box of 6 /

box of 50

MG013	Micromedics Ventilation Tubes	Micromedics; T-tubes; 	$20.00

(12x10)/(5x8)/(5x4)/(8x5.5); 1.14mm /

1.27mm / 1.4mm lumen ; silicone; box of 6 /

box of 50;

2.1.6.4.3 Ventilation Tube/Grommet, Silicone, Long Term

LMA PacMed Pty Ltd

PM068	Tympo Vent	Otological ventilation tubes, short medium term, star tube, 	Length 2.8	$20.00

silicone

PM072	Tympo Vent	Otological ventilation tubes, short medium term, shepard 	Length 12.4	$20.00

with tail, silicone/blue

PM074	Tympo Vent	Otological ventilation tubes,  paparella with tab	Length 2.2mm	$20.00

PM079	Tympo Vent	Otological ventilation tubes, t-tube	Length 6 - 12mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 54 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Med

BR & CT Enterprises Pty Ltd

BC010	Ventilation tube	Ventilation tube - Silicone - T-tube, T-tube grommet	1.1mm; 1.27mm lumen	$20.00

BC011	Ventilation Tubes - Collar Button	Teflon, w/o wire	1.10mm, 1.25mm, 1.50mm lumen	$20.00

Endocorp Pty Ltd

EC031	Exmoor Plastics Ear Vent Drains - Donaldson Grommet	With tab, silicone rubber	1.1 mm lumen dia x 2.25 mm inner flange dia 	$20.00

x 2.25 mm outer flange dia x 0.76 inter flange.

2.25 mm total length

2.1.6.5.1 Ventilation Tube/Grommet,Other Material,Short-term

LMA PacMed Pty Ltd

PM075	Tympo Vent	Otological ventilation tubes, collar button, tubingen type 	Length 1.5mm	$20.00

gold, gilded silver

2.1.6.5.2 Ventilation Tube/Grommet,Other Material,Medium-term

Lifehealthcare Pty Ltd

LH404	NeoZoline Otological Ventilation Tubes	Armstrong, Collar Button, Shepard, Reuter, Donaldson, 	1.10mm, 1.14mm, 1.27mm, 1.40mm, 	$20.00

Paparella, Shah	0.76mm

Sm

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG003	Micromedics Ventilation Tubes	Micromedics;Shepard;1.0mm / 1.14mm 	$20.00

lumen;Fluroplastic / Silicone;w.tab /

w.wire;box of 6 / box of 50

MG011	Micromedics Ventilation Tubes	Micromedics; Donaldson; 1.14mm lumen; 	$20.00

Silicone / Fluroplastic; w.tab; box of 6 / box 50

MG014	Micromedics Ventilation Tubes	Micromedics;  Armstrong; bevelled straight / 	$20.00

grommit / w.wire;  7mm / 7.5mm / 1.14mm;

silicone / fluroplastic; box of 6 / box of 50

Prostheses List by Category, Groups and Sponsor	Page 55 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.1.6.5.3 Ventilation Tube/Grommet,Other Material,Long-term

LMA PacMed Pty Ltd

PM083	Tympo Vent	Otological ventilation tubes, long term, collar button - 	Length 1.5	$20.00	$27.00

tubingen type, titanium

PM086	Tympo Vent	Otological ventilation tubes, short medium term, reuter 	Length 1.6	$20.00	$27.00

bobbin without holes, titanium

Ab

Gyrus Australasia Pty Ltd

GY065	Ventilation Tube	Paparella w/tab Fluoroplastic, Silicon, Soft Silicon, Ultrasil	1.02 - 2.03mm	$20.00

Med

Enta Surgical

ES001	Trocar Myringotomy Tube	Myringotomy Tube with Trocar - Gold Coated Silver; 	One Size Only	$20.00	$38.00

Myringotomy Tube with Trocar - Titanium; Myringotomy

Tube with Trocar, with wire - Gold Coated Silver;

Myringotomy Tube with Trocar, with wire - Titanium

2.2.1 Nasal Prostheses,Septal button

Gyrus Australasia Pty Ltd

GY018	Septal Button	Plastipore	One size only	$149.00

SI

Medtronic Australasia Pty Ltd

MC264	Septal Button 	Silicone	3cm 	$149.00

2.3.1 Tracheal Speaking Valve

LMA PacMed Pty Ltd

PM057	Provox Voice Prosthesis	Long term indwelling; Silicone	4.5,6,8,10,12.5mm	$102.00	$331.00	Only able to be claimed once for the initial

implant

Prostheses List by Category, Groups and Sponsor	Page 56 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PM117	Passy-Muir Speaking Valve	Tracheostomy and Ventilator	15mm I.D./ 22 & 23mm O.D.	$102.00

2.3.3 Vocal Chord Medialisation Implant

Gyrus Australasia Pty Ltd

GY072	Vocal Cord Medialisation Implant	Vocom Larynx Medial Implant - Hydroxylapatite	3 - 7mm Head	$345.00

GY073	Vocal Cord Medialisation Implant	Vocom Shim for Medial Implant - Hydroxylapatite	1mm - 3mm Offset	$345.00

2.3.5 Tracheal Reconstruction and Thyroplasty Prostheses

2.3.5.2.1 Tracheal Reconstruction and Thyroplasty Prostheses, Thyroplasty graft, ePTFE

Medtronic Australasia Pty Ltd

MC255	Medtronic Xomed Australia Material Implantable Sterile 	ePTFE - expanded polytetrafluroethyelene	0.75cm x 40cm x 0.6mm; 0.4cm x 20cm x 	$1,110.00

- Gore Thyroplasty	0.6mm; 0.6cm x 20cm x 0.6mm

2.3.5.2.2 Tracheal Reconstruction and Thyroplasty Prostheses, Thyroplasty Graft, Silicone

Endotherapeutics Pty Ltd

ET040	Vox Implants	Vox Implants are solid, irregularly textured, medical grade 	One size only	$8,200.00

Polydimethylsiloxane Elastomer implants suspended in a

hydrogel carrier

LMA PacMed Pty Ltd

PM033	Montgomery Thyroplasty Implant System	Silicone	6,7,8,9,10,11,12	$1,172.00

PM102	Tracheal Cannula System	Short and long term Cannula (Medical Grade Silicone)	Diameter 9-13mm; Length 37m & 101mm	$298.00

PM103	Tracheal Cannula System	Cannula Speaking Valves (Medical Grade Plastic)	4-10	$125.00	Only able to be claimed once for the intial

implant

PM104	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, Tapered and 	Paediatric/Standard - Clear/Radioplaque	$471.00

Hebeler in clear and radiopaque

PM106	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, Tapered, 	ID 8/10, 10/13, 12, 15, 18mm; Length 76, 	$471.00	$549.00

Hebeler and HMS, in clear and radiopaque	77, 79, 159, 163mm

Prostheses List by Category, Groups and Sponsor	Page 57 of 869

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PM107	Laryngeal Keel	12-16mm Keel	$275.00

PM115	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, Tapered, 	ID 7, 9, 11mm; Length 100, 110mm	$769.00

Hebeler and HMS

Medical Vision Australia Pty Ltd

MF001	Endoxane	Silicone tracheal and bronchial stents - Dumon	10 - 20mm diameter, 20 - 60mm length	$1,000.00

MF002	Tracheobronxane Silmet	Nitinol wire - tracheal and bronchial stenets - Dumon	12 - 20mm diameter, 20 - 90mm length	$2,500.00

Medtronic Australasia Pty Ltd

MC265	Silicone Blocks 	Netterville Phonoform Block - Right, Left, Wedge & Strip	Right - One size only, Left - One size only, 	$275.00

Wedge - One size only & Strip - One size only

Cement

Endotherapeutics Pty Ltd

ET031	Serenocem Cement	Reaction bonded polymer composite formed by the 	One size only - box of 2	$1,560.00

neutralisation gelletation of a basic inorganic ionomer

ET032	Serenocem Granules	Reaction bonded polymer composite formed by the 	0.5 - 1mm granules, 1gm or 5gm; 2 - 3mm 	$1,070.00

neutralisation gelletation of a basic inorganic ionomer	granules, 1gm or 5gm - 3 pouches

Prostheses List by Category, Groups and Sponsor	Page 58 of 869

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Anchor, Fixation

William A Cook Australia Pty Ltd

WC014	Cope Gastrointestinal Suture Anchor Set (GIAS)	Standard, pediatric	$125.00

Clip Appliers

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS137	Endo Clip III	Laparoscopic 5mm Clip Applier	5mm	$435.00

C. R. Kennedy

CK003	Endox Visu-Loc Clip Applier	Single-use laparoscopic clip applier	Medium, Large	$265.00

Clip, internal, ligating

Applied Medical Australia Pty Ltd

MH014	Direct Drive laparoscopic clip applier with TiGold 	Single-use, sterile 10mm laparscopic clip applier with 20 	10mm shaft diameter with medium-large size 	$220.00

titanium clips	medium-large size titanium clips	clips.

C. R. Kennedy

CK001	Microline Pentax Disposable 10ml Titanium K2 Clip 	Disposable cartridge containing 19 surgical grade titanium 	medium/large clip	$115.00

Cartridge	clips delivered using a re-usable hand piece applier

CK002	Microline Pentax Disposable 10ml Titanium K2 clip 	Disposable cartridge containing 10 surgical grade titanium 	Medium/Large Clip	$90.00

Cartridge	clips delivered using a reusable hand piece applier.

Prostheses List by Category, Groups and Sponsor	Page 59 of 869

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prosthesis, internal, stent, biliary

ConMed Linvatec Australia Pty Ltd

LV106	Niti-S ComVi Biliary Stent (Fully Covered)	The Niti-S ComVi Biliary Stent (Fully Covered) is 	8mm to 10mm diameter x 4cm to 12cm length	$3,700.00

comprised of 2 Nitinol D-type stents with a layer of

polytetraethylene (PTFE) between that fully envelopes the

proximal and distal ends of the stent, resulting in an

integrated structure designed to prevent tissue invasion.

Prosthesis, internal, stent, bronchial

ConMed Linvatec Australia Pty Ltd

LV105	Niti-S Bronchial Stent	Bronchial Nitinol Self Expanding Metal Stent, Expanded 	10mm to 14mm diameter x 3cm to 6cm length	$3,200.00

Poly Tetra Fluoro Ethylene (ePTFE) covered, with retrieval

suture

Prosthesis, internal, stent, oesophageal

Ackermann Australia Pty Ltd

AK002	Stent, oesophageal, dudodenal, rectal, biliary	self expandable nitinol stent with introducer system	20,30,40,50,60,70,80,90,100,110,120mm	$1,200.00

Prosthesis, internal, stent, tracheal

ConMed Linvatec Australia Pty Ltd

LV104	Niti-S Tracheal Stent	Tracheal Nitinol Self Expanding Metal Stent, ePTFE 	16mm to 20mm diameter x 3cm to 10cm length	$3,200.00

covered with retrieval suture

Prostheses List by Category, Groups and Sponsor	Page 60 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.1.1 Brachytherapy, Hepatic, Yttrium 90, Standard dose

Sirtex Medical Products

SE001	SIR-Spheres including Delivery Apparatus	Biocompatible microspheres 20-60mm (microns) in 	One size only	$8,230.00	Temporary listing pending review

diameter containing yttrium-90. Delivery apparatus is PVC

tubing, ABS stopcocks, acrylic holders and stainless steel

needles with PE hubs

3.1.2 Brachytherapy, Prostatic I-125

3.1.2.1 Brachytherapy, Prostatic I-125, Standard Dose

CMS Alphatech Pty Ltd

CL001	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed radioactive sources 	Advantage I-125 seeds are  0.8 mm in 	$6,500.00

containing Iodine-125. They are intended to interstitial 	diameter and 4.5 mm in length

brachytherapy.                                           Advantage I-

125 Pre-load consists of Advantage I-125 seeds pre-

loaded as linked or 'stra

Global Medical Solutions Australia Pty Ltd

GL001	Advantage I-125 Seed	Advantage I-125 per patient up to 120 seeds	3mm x 0.5mm silver rod within 4.5 x 0.8mm 	$6,500.00

sealed titanium capsule

GL007	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed radioactive sources 	Advantage I-125 seeds are  0.8 mm in 	$6,500.00

containing Iodine-125. They are intended to interstitial 	diameter and 4.5 mm in length

brachytherapy.                                           Advantage I-

125 Pre-load consists of Advantage I-125 seeds pre-

loaded as linked or 'stranded' seeds(similar to RAPID

Strand RX ) on prescription into brachytherapy needles

specifically for treatment of an individual patient. They

arrive sterile and pre-packaged ready for use in theatre.

Prostheses List by Category, Groups and Sponsor	Page 61 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Oncura Pty Limited

ON001	Iodine 125 - 'Rapid Strand' Brachytherapy Implant, 	Rapid Strand consists of 10 welded titanium capsules 	One size each	$6,500.00	Only to be funded where used in a service for

Iodine 125 - 'OncoSeeds' Brachytherapy Implant	containing iodine-125 absorbed onto a silver rod.  	which a Medicare Benefit is payable (current

OncoSeeds consists of the loose seeds only.	MBS items are 37220, 15338)

3.1.2.2 Brachytherapy, Prostatic I-125, Single seed or partial dose

Global Medical Solutions Australia Pty Ltd

GL002	Advantage I-125 Seed	Advantage I-125 per seed	3mm x 0.5mm silver rod within 4.5 x 0.8mm 	$65.00

sealed titanium capsulre

Nucletron Pty Limited

NU001	selectSeed	Nucletron selectSeed Model # 130002 consists of 	One size only	$82.00	Only to be funded where used in a service for

cylindrical silver rod, coated with radioactive Iodine-125 	which a Medicare Benefit is payable (current

layer. Active silver rod is encapsulated in hollow titanium 	MBS items are 37220, 15338)

tube. Laser welding, using sperical shaped end welds, seals

the tube.

Oncura Pty Limited

ON002	Iodine 125 - Rapid Strand Brachytherapy Implant; 	I-125 Rapid Strand, code IMC 7000, consists of 10 	One size only	$65.00	Only to be funded where used in a service for

OncoSeeds Brachytherapy Implant	welded titanium capsules containing iodine 125. This 	which a Medicare Benefit is payable (current

assembly is sterile, the acitivity of the capsules "seeds" is 	MBS items are 37220, 15338)

available from 0.18mCi to 0.70mCi.  Individual I-125

capsules (seeds) are also available as OncoSeeds

IMC6711.  To be used only if more than 120 seeds are

used per patient.

ON004	RAPID Strand Rx Seeds	I-125 RAPID Strand Rx, pre-loaded titanium capsules 	Custom	$65.00	$71.50

containing iodine 125.  To be used only if more than 100

seeds are used per patient.  Benefit is per seed.

Prostheses List by Category, Groups and Sponsor	Page 62 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.1 Infusion Ports and Injection Ports

3.2.1.1 Infusion Port, single lumen

Allergan Australia Pty Limited

AW003	Rapid Port Tack	Implantable acetal copolymer disk assembly, rotor 	Outside diameter for the tack 30.5mm 	$170.00

assembly with three stainless steel fasteners.  The fasteners, 	diameter by 5.6mm Height.  The wires extend

when deployed by rotating the rotor, extend about 3mm 	3mm below the bottom surface.

below the undersurface of the Tack

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS052	Chemosite Implantable Venous Access System	Port - Single Lumen (ChemoSite*)	7-9 french; 10.5 french.	$485.00	$600.00	* Trademark of United States Surgical

Corporation

B Braun Australia Pty Ltd

BB082	Celsite Epoxy Single Access Port	Epoxy/titanium	Standard/small/baby	$485.00

BB084	Celsite Single Access Port	MBS/PSU	Standard/small	$485.00

BB086	Celsite Epoxy Peritoneal Port	Epoxy/titanium	32x27x13mm	$485.00	$560.00

Bard Australia Pty Ltd

BA163	X Port isp	Intermediate-sized MRI port with open-ended pre-	Port: Base 22.6 x 28.2mm.  Height: 11.7mm.  	$485.00	$640.00

attached or attachable Hickman single lumen catheter	Weight: 5.2g.  Catheter: 9.6Fr

BA164	X Port isp	Intermediate-sized MRI port with open-ended pre-	Port: Base 22.6 x 28.2mm.  Height: 11.7mm.  	$485.00	$640.00

attached or attachable Chronoflex single lumen catheter	Weight: 5.2g.  Catheter: 6 & 8Fr

Mayo group

CM010	Low Profile Ports -  Implantable Vascular Access System	Arrow Model No.'s VARRX AP06036, AP06040, 	Ports - H10mm, L25mm, Weight 9grams, 	$485.00	$550.00

AP06042, AP06045.  Titanium Low Profile Ports with self 	Internal Vol. 0.3ml.  Catheter75cm

sealing silicone septum and either attached or detached

silicone catheters.  Include relevant sized Introducer Kit.

Smiths Medical Australasia Pty Ltd

SI001	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	One size only	$485.00

Trans Arterial Percuataneous System

SI003	Injection/Infusion Ports, Sterile - PORT-A-CATH P.A.S	Port - single lumen	1.9 mm O.D. PolyFlow Polyurethane 	$485.00

Port T2 System	Catheter

Prostheses List by Category, Groups and Sponsor	Page 63 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SI005	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	One size only	$485.00

Peritoneal System

SI007	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.3 mm silicone catheter	$485.00

Arterial Titanium System

SI008	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.8 mm silicone catheter & 9 French 	$485.00

Titanium Venous Portal	introducer set

SI010	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	1.9mm polyurethane catheter	$485.00

Implantable Access System - Venous Portal, with

introducer set

SI012	Injection/Infusion Ports, Sterile - PORT-A-CATH Low 	Port - single lumen	1.9 mm polyurethane catheter	$485.00

Profile Implantable Venous System, with introducer set

SI014	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	2.8 mm silicone catheter	$485.00

Titanium Venous System, with introducer set

SI016	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.9 mm polyurethane catheter	$485.00

Titanium Venous System with introducer set

SI017	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.6 mm polyurethane catheter	$485.00

Titanium Venous System with introducer set

SI019	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.9 mm polyurethane catheter	$485.00

Low Profile Titanium Venous System with introducer set

SI020	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.2 mm O.D. polyurethane catheter	$485.00

Epidural Low Profile System

SI021	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	0.9 mm O.D. polyurethane catheter	$485.00

Intraspinal Low Profile System

3.2.1.2 Infusion Port, multiple lumen

B Braun Australia Pty Ltd

BB083	Celsite Epoxy Dual Access Port	Epoxy/titanium	Standard/small/baby	$615.00	$800.00

Bard Australia Pty Ltd

BA166	X Port duo	Intermediate-sized MRI port with open-ended attachable 	Port: Base 38.5 x 28.5mm, Height 12.6mm, 	$615.00	$715.00

Chronoflex dual lumen catheter	Weight: 9.6g, Catheter: 9.5Fr

Prostheses List by Category, Groups and Sponsor	Page 64 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mayo group

CM007	Vascular Ports - Implantable Vascular Access System	Arrow Model No.'s VARRX AP01007, AP06010, 	Ports - H15.5mm x L28.6mm, Weight 	$615.00

AP06013, AP06014, AP06015, AP06018, AP06520.  	9.2grams, Internal Vol. 0.8ml.  Catheter 75cm

Titanium Port with self sealing silicone septum and either

attached or detached silicone catheters. Include relevant

size Introducer Kit.

CM008	Vascular Ports - Implantable Vascular Access System	Arrow Model No.'s   AP6528, AP06530, AP06535, .  	Ports - H15.5/17.1mm x L28.6mm, Weight 	$1,100.00

Double Titanium ports with self sealing silicone septums and	19.9grams, Internal Vol.  0.8 - 1.0ml each

either attached or detached dual lumen silicone catheters. 	side.  Catheters 75cm

Include relevant sized Introducer Kit.

CM009	Low Profile Ports -  Implantable Vascular Access System	Arrow Model No.'s VARRX AP01040,  AP06046, 	Ports - H10mm, L25mm, Weight 9grams, 	$615.00

AP06016, AP06020, AP06012, AP06022, AP06025.  	Internal Vol. 0.3ml.  Catheter75cm

Plastic low profile ports with self sealing silicone septum

and either attached or detached silicone catheters. Include

relevant sized Introducer Kit.

Smiths Medical Australasia Pty Ltd

SI023	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - dual lumen	3.4 mm silicone catheter	$615.00

Dual Lumen Titanium Venous system and introducer set

infusial port, multiple lumea.

Bard Australia Pty Ltd

BA165	X Port duo	Intermediate-sized MRI port with open-ended attachable 	Port: Base 38.5 x 28.5mm, Height: 12.6mm, 	$615.00	$715.00

Hickman dual lumen catheter	Weight: 9.6g, Catheter: 10Fr

3.2.2 Infusion Pump

3.2.2.1 External Infusion Pump, Balloon based

Ultimate Medical Pty Ltd

UM001	LA Bubble	Balloon based local anaesthetic infusion system	One size only	$185.00

Prostheses List by Category, Groups and Sponsor	Page 65 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.2.2.1 External Infusion Pump, Battery powered, Insulin, Generation 1

Diabetes Australia - New South Wales

DB001	DANAIIS Insulin Pump	Continuous insulin infusion pump	75mm x 45mm x 19mm	$4,000.00

Roche Diagnostics Australia Pty Ltd

RO008	"Disetronic Insulin Infusion Pump System"	H-Tron plus	Small Kit Blue or Grey	$4,000.00	$5,400.00

RO020	Accu-chek Spirit Insulin Pump	Insulin infusion pump	One size only	$4,000.00	$5,000.00

3.2.2.2.2 External Infusion Pump, Battery powered, Insulin, Generation 2

Australasian Medical & Scientific Ltd

AN005	Animas 2020 Insulin Pump.	Ambulatory Insulin Infusion Pump	7.4cm x 5cm x 1.9cm	$7,750.00

Medical Specialties  Australia Pty Ltd

MS021	Medical Specialties "Walkmed Infusion Pump System" 	Ambulatory Infusion Pump System, Administration Sets 	Walkmed Infusion Pump System	$4,000.00

Powered Drug Infusion System and Ancillary Equipment 	and Accessories

(McKinley, USA)

Roche Diagnostics Australia Pty Ltd

RO001	"Disetronic Insulin Infusion Pump System"	D-Tron plus	Large Kit Blue or Anthracite	$6,700.00

RO002	"Disetronic Insulin Infusion Pump System"	H-Tron plus	Large Kit Blue or Grey	$5,700.00

RO009	"Disetronic Insulin Infusion Pump System"	D-Tron plus	Small Kit Blue or Grey	$6,400.00

3.2.2.2.3 External Infusion Pump, Battery powered, Insulin, Generation 3

Medical Specialties  Australia Pty Ltd

MS031	Medical Specialties "Deltec Cozmo Insulin Pump"	Ambulatory Insulin Infusion Pump	Deltec Cozmo Insulin Pump - each	$8,000.00	$9,360.00

Medtronic Australasia Pty Ltd

MC351	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT - 715	Pump Dimensions: 5.1 x 9.4 x 2.0cm	$8,000.00

MC352	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT - 515	Pump Dimensions: 5.1 x 7.6 x 2.0cm	$8,000.00

Prostheses List by Category, Groups and Sponsor	Page 66 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.2.2.5 External Infusion Pump, Battery powered, Other pharmacy, Generation 2

Smiths Medical Australasia Pty Ltd

SI034	CADD-PRIZM VIP (Variable Infusion Profile) Model 	Pump	One size only	$4,950.00

6100; CADD-PRIZM PCS Ambulatory Infusion Pump,

Model 6100

SI037	CADD Legacy 1 Model 6400 Ambulatory Infusion 	Pump	One size only	$4,950.00

Pump

SI038	CADD Legacy Plus Model 6500 Ambulatory Infusion 	Pump	One size only	$4,950.00

Pump

SI039	CADD Legacy PCA Model 6300 Ambulatory Infusion 	Pump	One size only	$4,950.00

Pump

3.2.2.2.7 External Infusion Pump, Battery powered, Insulin, Generation 4

Diabetes Australia - New South Wales

DB002	DANAIISG Insulin Pump	The DANAIISG Insulin Pump is a small device about the 	75 x 45 x 19 mm, 60 grams	$4,700.00

size of a pager. It holds up to 300 units of insulin, which is

delivered continuously through a small tube to the patient.

The DANAIISG Insulin Pump also has an integrated blood

glucose meter.

DB003	DANAR Insulin Pump	The DANAR Insulin Pump is a small device about the size 	75 x 45 x 19mm, 60grams	$5,100.00

of a pager. It holds up to 300 units of insulin, which is

delivered continuously through a small tube to the patient.

The DANAR Insulin Pump also has an integrated blood

glucose meter and remote control via bluetooth

communication.

Medtronic Australasia Pty Ltd

MC353	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT-722. 'Smart' Insulin Pump with 	Pump dimensions: 5.1 x 9.4 x 2.0cm	$8,000.00	$8,950.00

REAL-Time continuous glucose monitoring capability and

with remote control

MC354	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT-522. 'Smart' Insulin Pump with 	Pump Dimensions: 5.1 x 7.6 x 2.0cm	$8,000.00	$8,950.00

REAL-Time continuous glucose monitoring capability and

with remote control

Prostheses List by Category, Groups and Sponsor	Page 67 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC839	Medtronic MiniMed Insulin Infusion Pump	Paradigm Veo Model MMT-554. 'Smart' Insulin Pump 	5.1 x 7.6 x 2.0cm	$8,000.00	$9,500.00

with REAL-Time continuous glucose monitoring capability,

incorporating a low glucose suspend and with remote

control.

MC840	Medtronic MiniMed Insulin Infusion Pump	Paradigm Veo Model MMT-754. 'Smart' Insulin Pump 	5.1 x 9.4 x 2.0cm	$8,000.00	$9,500.00

with REAL-Time continuous glucose monitoring capability,

incorporating a low glucose suspend and with remote

control.

3.2.2.3.1 External Infusion Pump, Spring powered, fixed flow rate

Baxter Healthcare Pty Ltd

BX246	Infusor	Sterile infusor devices, spring or elastomer driven	SV Half day, 5ml/hr, 60ml vol. LV 10, 	$85.00

10ml/hr, 240ml vol. SV Single day, 2ml/hr,

48ml vol. LV 5, 5ml/hr, 240ml vol.

BX247	Intermate	Sterile infusor devices, spring or elastomeric driven	SV 200 - 200ml/hr, 100ml vol. SV 100 - 	$85.00

100ml/hr, 100ml vol. LV 250, 250ml/hr,

275ml vol. SV 50 - 50ml/hr, 100ml vol.  LV

100  - 100ml/hr, 275ml vol. LV 50, 50ml/hr,

275ml vol

BX248	Infusor	Sterile infusor devices, spring or elastomer driven	LV 2, 2ml/hr, 275 ml vol; LV 1.5, 1.5ml/hr, 	$85.00

275ml vol; SV Multi day, 0.5ml/hr. 60ml vol;

SV Seven day, 0.5ml/hr, 96ml vol

Orthotech Pty Ltd

OH122	PC2000 Pain Control Infusion Pump Connector	Plastic spring loaded drug delivery device	0.5ml - 4ml	$85.00	$130.00

Stryker Australia Pty Ltd

SK125	Stryker PainPump	Vacuum operated pump providing controlled infusion of a 	75-150mm Extra Fenestration Infusion 	$63.00

Local Anaesthetic directly into a surgical site for post-	Catheters

operative pain management.

Prostheses List by Category, Groups and Sponsor	Page 68 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

set

Global Manufacturing Technology Pty Ltd

GM040	Alpha Infusion Pump	Alpha Infusion Pump Kit, includes Alpha Infusion Pump, 	450ml	$260.00	$300.00

introducer needle, syringe, hip pack, labels and instructions

for use plus Alpha Cath Infusion Catheter

National Surgical Corporation Pty Ltd

NI154	Alpha Infusion Pump System	Alpha Infusion Pump Kit 200ml (includes pump, introducer 	200ml	$240.00

needle, syringe, carry bag, instructions) sterile

NI155	Alpha Infusion Pump System	Alpha Infusion Pump Kit 450ml (includes pump, introducer 	450ml	$240.00	$260.00

needle, syringe, carry bag, instructions) sterile

Orthotech Pty Ltd

OH065	PC2000 Pain Control Infusion Pump	Plastic spring loaded drug delivery device	0.5 ml - 4 ml	$260.00	$310.00

Stryker Australia Pty Ltd

SK120	Stryker PainPump	Vacuum operated pump providing controlled infusion of a 	120ml Unit Base Infusion Kits	$260.00

Local Anaesthetic directly into a surgical site for post-

operative pain management.

SK121	Stryker PainPump	Vacuum operated pump providing controlled infusion of a 	120ml unit 1-7 Day Infusion Kits	$260.00

Local Anaesthetic directly into a surgical site for post-

operative pain management.

SK122	Stryker PainPump	Vacuum operated pump providing controlled infusion of a 	120ml unit Two Pump 2-4 Day Infusion Kits	$260.00

Local Anaesthetic directly into a surgical site for post-

operative pain management.

SK123	Stryker PainPump	Vacuum operated pump providing controlled infusion of a 	270ml unit 1-7 Day Infusion Kits	$260.00

Local Anaesthetic directly into a surgical site for post-

operative pain management.

SK124	Stryker PainPump	Vacuum operated pump providing controlled infusion of a 	270ml unit Base Infusion Kits	$260.00

Local Anaesthetic directly into a surgical site for post-

operative pain management.

Prostheses List by Category, Groups and Sponsor	Page 69 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical Specialties

SQ030	PainBuster	Kit includes catheter, introducer needle, flow restrictor, 	270ml volume x 2 lines x 2 ml per hour; 270ml	$260.00	$472.00

filter, bolus	 x 2ml, 5ml bolus; 270ml x 1-7ml/hr

SQ031	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter	100ml volume x 2 ml per hour	$260.00

SQ032	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter	270ml volume x 2 ml per hour	$260.00	$315.00

SQ033	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter	270ml volume x 5 ml per hour	$260.00	$315.00

SQ034	Painbuster	Kit includes catheter, introducer needle, flow restrictor, filter	270ml x 4ml/hr, dual; 400ml x 4ml per hour, 	$260.00	$640.00

dual

SQ035	Painbuster	Kit includes catheter, introducer needle, flow restrictor, 	400ml	$260.00	$472.00

filter, 2 - 14ml/hour

3.2.2.3.2 External Infusion Pump, Spring powered, fixed flow rate + bolus

Baxter Healthcare Pty Ltd

BX250	Basal/Bolus and Multirate Infusors	Sterile infusor devices, spring or elastomer driven	Basal/Bolus 60, Basal 0.5ml/hr, Bolus 	$150.00

0.5ml/hr x 65ml; Basal/Bolus 15, Basal

0.5ml/hr, Bolus 2ml/hr x 65ml; Basal/Bolus

infusor, Basal 2ml/hr, Bolus 2ml/hr x 65ml;

Multirate 5, 7 or 12 ml/hr x 300 ml; Multirate

2, 4, or 6 ml/hr x 300 ml; Multirate 2, 3, or 5

ml/hr x 300 ml; Multirate 1, 2 or 3 ml/hr x 100

ml

Orthocare Pty Limited

OC001	Pain Care 2000	Pain Care 2000 System	One size only	$235.00

OC003	Pain Care 2000L	Pain Care 2000L System	One Size Only	$235.00

OC006	Breg Paincare 3000	100ml Continuous Infusion device (delivers 2ml/hr) with 	100cc reservoir	$260.00	$286.00

additional 4ml bolus.  Code # 10314	L=10.4cm, D=3.0cm, W=7.4cm

OC007	Breg Paincare 3200	200ml Continuous Infusion device (delivers 4ml/hr) with 	200cc reservoir	$260.00	$286.00

additional 4ml bolus Code # 11030	L=10.4cm, D=6.5cm, W=7.4cm

Prostheses List by Category, Groups and Sponsor	Page 70 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OC008	Breg Paincare 4200	200ml Continuous Infusion device (delivers 2ml/hr) with 	200cc reservoir	$260.00	$286.00

additional 4ml bolus Code # 11090	L=10.4cm, D=6.0cm, W=7.0cm

3.2.2.3.3 External Infusion Pump, Spring powered, variable flow rate

Baxter Healthcare Pty Ltd

BX249	Multirate with PCM	Sterile infusor devices, spring or elastomer driven	Multirate 5, 7 or 12 ml/hr with PCM	$300.00

3.2.2.4 Infusion Pump Accessory

Nipro Asia Pty Ltd

NQ001	Surefuser	Surefuser 50ml. Sterile infusion devices, spring or 	Volume of 50ml at 10ml/hr, or at 4.2ml/hr, or 	$50.00

elastometric driven. Various flow rates	at 2.1ml/hr, or at 1.0ml/hr, or at 0.7ml/hr or at

0.4ml/hr or at 0.3ml/hr

NQ002	Surefuser	Surefuser 100ml. Sterile infusion devices, spring or 	Volume of 100ml at 200ml/hr, or at 100ml/hr, 	$50.00

elastometric driven. Various flow rates	or at 20ml/hr, or at 8.3ml/hr, or at 4.2ml/hr, or

at 2.0ml/hr, or at 0.8ml/hr or at 0.6ml/hr

NQ003	Surefuser	Surefuser 250ml. Sterile infusion devices, spring or 	Volume of 250ml at 125ml/hr, or at 62.5ml/hr,	$50.00

elastometric driven. Various flow rates	 or at 10ml/hr, or at 5ml/hr, or at 3.5ml/hr, or

at 2.0ml/hr, or at 1.5ml/hr

Prostheses List by Category, Groups and Sponsor	Page 71 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.2.4.1 Infusion Pump Accessory kit

Medtronic Australasia Pty Ltd

MC285	Medtronic MiniMed Insulin Pump Infusion Sets	Ambulatory Insulin Infusion Pump System Administration 	60-110cm	$18.00

Sets and Accessories: Quick-set MMT-390, MMT-391,

MMT-392, MMT-393; Sof-set Micro MMT-320, MMT-

321; Sof-set Ultimate MMT-315, MMT-316 (all tubing

with cannula for use with MMT-507C and MMT-508

insulin infusion pump); Silhouette MMT-371, MMT-372,

MMT-373, MMT-374 (Full Set of 10 complete sets: 10

sites + 10 tubing, OR Combo Set: 10 sites + 5 tubing for

use with MMT-507C or MMT-508 insulin infusion pump);

Serters MMT-395, MMT-300, MMT-385 (For use with

MMT-511 or MMT-507C or MMT-508 insulin infusion

pump); Polyfin MMT-106, MMT-306, MMT-307, Polyfin

QR MMT-165, MMT-365, MMT-366 (bent needles

with wings for use with MMT-507C and MMT-508 insulin

infusion pump)

MC286	Medtronic MiniMed Paradigm Insulin Pump Infusion Sets	Ambulatory Insulin Infusion Pump System Adminstration 	60-110cm	$18.00

Sets and accessories: Quick-set MMT-396, MMT-398,

MMT-397, MMT-399; Sof-set Micro MMT-324, MMT-

325; Sof-set Ultimate MMT-317, MMT-318 (all tubing

with cannula for use with MMT-511 insulin infusion pump),

Silhouette MMT-377, MMT-379, MMT-378, MMT-380

(Full Set of 10 complete sets: 10 sites + 10 tubing, OR

Combo Set: 10 sites + 5 tubing for use with MMT-511

insulin infusion pump)

3.2.2.4.2 Infusion Pump Administration Cassette

Australasian Medical & Scientific Ltd

AN002	Animas IR Insulin Infusion Cartridge	3.0ml Cartridge, sterile, indicated as reservoir for insulin by 	one size only	$8.00

the Animas infusion pump; not intended for use with any

other infusion device.

Prostheses List by Category, Groups and Sponsor	Page 72 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AN006	Animas IR 1200 Insulin Infusion Cartridge (Insulin 	Sterile, indicated as reservoir for insulin by the Animas 	Cartridge Capacity - 2.0mL or 200 units	$8.00

Infusion Pump IR 1200 Series)	Infusion Pump, not intended for use with any other infusion

device.

Baxter Healthcare Pty Ltd

BX245	Patient Control Module	Sterile infusor devices, spring or elastomer driven	Module 0.5ml dose, Module 2 ml dose	$28.00

Smiths Medical Australasia Pty Ltd

SI024	Medication Cassettes (50ml & 100ml)	Pump	50 mL	$21.00

SI025	Medication Cassettes (50ml & 100ml)	Pump	100 mL	$28.00

3.2.2.4.3 Infusion Pump Administration Reservoir

Medical Specialties  Australia Pty Ltd

MS022	Medical Specialties "Walkmed Drug Administration 	Ambulatory Infusion Pump System, Administration Sets 	Walkmed Drug Administration Reservoirs	$8.00

Reservoir" (McKinley, USA)	and Accessories

MS039	Medical Specialties "Deltec Cozmo Ancillary Equipment"	Drug Infusion Reservoir	3ml Cartridges - Box 25	$8.00

Medtronic Australasia Pty Ltd

MC282	Medtronic MiniMed Insulin Infusion Pump Reservoir	Ambulatory Insulin Infusion Pump System Administration 	One Size Only	$8.00

Sets and Accessories; Insulin Infusion Pump Reservoir

MMT-103A  (for use with pumps MMT - 507C & MMT

- 508)

MC284	Medtronic MiniMed Paradigm Insulin Infusion Pump 	Paradigm Insulin Infusion Pump Reservoir MMT-326A (for	One Size Only	$8.00

Reservoir	 use with Model MMT-511 insulin infusion pump)

MC304	Medtronic Minimed Paradigm Insulin Infusion Pump 	Reservoir Model MMT - 332A (for use with the Paradigm 	3.0 ml reservoir	$8.00

Reservoir	Model MMT - 712). Polycarbonate

Roche Diagnostics Australia Pty Ltd

RO007	Disetronic Administration Sets	Plastic Cartridge (D-Tron plus)	3.0mL 5/box	$8.00	The price indicated is per unit and there are 5

units per box

Smiths Medical Australasia Pty Ltd

SI036	Flexible Medication Reservoir, 250ml Model 21-6167-24	Pump	250 mL	$8.00

Prostheses List by Category, Groups and Sponsor	Page 73 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.2.4.4 Infusion Pump Administration set

Australasian Medical & Scientific Ltd

AN003	Animas Insulin Infusion Sets	(INFUSION SET, COMFORT, 23", HOSP 10, 	one size only	$8.00

INFUSION SET, COMFORT 43", HOSP 10) Needle

guard, soft cannula, adhesive tape, introducer needle,

cannula housing, tubing, connector needle, circular

protective cap and disconnect cover.

AN004	Animas Insulin Infusion Set	(INFUSION SET, COMFORT, 23", STD 5/5 AND 	One size only	$8.00

INFUSION SET, COMFORT, 43" STD 5/5) Needle

guard, soft cannula, adhesive tape, introducer needle,

cannula housing, tubing, connector needle, circular

protective cap and disconnect cover.

Medical Specialties  Australia Pty Ltd

MS023	Medical Specialties "Walkmed Drug Administration Sets"	Ambulatory Infusion Pump System, Administration Sets 	Walkmed Drug Administration Sets	$7.00

(McKinley, USA)	and Accessories

MS040	Medical Specialties/Unomedical "Deltec Cozmo Ancillary	Drug Infusion Set	Box of 20	$7.00

Equipment"

National Surgical Corporation Pty Ltd

NI156	Alpha Infusion Pump System	Alpha Infusion Pump Endhole Catheter	0.5, 1.0, 2.0, 4.0 and 5.0ml/per hour endhole 	$20.00	$70.00

catheters

NI157	Alpha Infusion Pump System	Alpha Infusion Pump Mulltidrip Catheter	2.0, 4.0ml hour, 6 or 12cm infusion length	$20.00	$70.00

NI158	Alpha Infusion Pump System	STA endhole catheter including attachment suture	2.0, 4.0 ml per hour	$20.00	$140.00

Roche Diagnostics Australia Pty Ltd

RO003	Disetronic Administration Sets and Accessories	Adaptor D-Tron plus	10/box	$7.00	The price indicated is per unit and there are 10

units per box

RO005	Disetronic Administration Sets and Accessories	Adaptor H-Tron  plus	Grey/Blue each	$7.00

RO006	Disetronic Administration Sets and Accessories	Plastic Cartridge (H-Tron)	3.15mL 25/box	$8.00	The price indicated is per unit and there are 25

units per box

RO012	"Disetronic Infusion Sets"	Tender I 17/60	Pack 10	$8.00	$15.00	The price indicated is per unit and there are 10

units per box

Prostheses List by Category, Groups and Sponsor	Page 74 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smiths Medical Australasia Pty Ltd

SI026	CADD Administration Set 175cm TOTM tubing	For use with SI036	250 mL	$7.00

SI027	CADD Administration Sets, 198cm, with Bag Spike & 	Pump	198 cm	$7.00

Add-on Anti-siphon Valve, TOTM Plasticized Tubing,

Model No. 21-7057-24

SI028	Extention Set (30" & 60")	Pump	76 cm	$7.00

SI029	Extension Set (30" & 60")	Pump	152 cm	$7.00

SI040	Adminstration Set	Bag Spike, Integral Anti-Siphon Valve	196cm Bag Spike, Box of 12	$7.00

SI041	Administration Set	High Volume, with 0.2 Micron Filter, Male Luer, Add On 	Box of 15	$7.00

Anti Syphon Valve

SI042	Extension Set	Microbore TOTM with 0.22 Filter, M/M Luers, for Flolan	152cm	$7.00	The benefit amount/minimum benefit amount is

for and individual product which comes as a

pack of six.

SI044	Administration Set	High Volume, TOTM- Plasticized Blue Striped with 1.2 	305cm	$7.00	The benefit amount/minimum benefit amount is

Micron Filter, Male Luer, Add On Anti-Siphon Valve	for an individual product which comes as a

pack of ten.

3.2.2.4.5 Infusion Pump Accessory, other

Orthocare Pty Limited

OC002	Pain Care 2000	"Y" Accessory Kit	One size only	$80.00

OC004	Pain Care 2000L	"Y" Accessory Kit	One Size Only	$80.00

OC005	Pain Care 2000L	Multiport Catheter 54"	One Size Only	$54.00

3.2.2.5 Pharmaceutical beads

Biomet Australia Pty Ltd

BI280	Septopal Chain Septopal Beads	PMMA, Stainless Steel	30 bead chain	$575.00	$750.00

Prostheses List by Category, Groups and Sponsor	Page 75 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.2.6.1 Central venous catheter

Mayo group

CM011	Arrow Peripherally Inserted Central Catheterisation Sets  	Model No.'s VARRC PC01351.  Polyurethane single 	3Fr x 55cm	$119.00

lumen catheters with stylet.

CM012	Arrow Peripherally Inserted Central Catheterisation Sets  	Model No.'s VARRC PC01451, PR05041, Polyurethane 	4Fr x 55cm	$119.00

single lumen catheters with or without stylet.

CM013	Arrow Peripherally Inserted Central Catheterisation Sets  	Model No.'s VARRC PC01552, PR05052, PR07051 	5Fr x 55cm & 70cm	$119.00

Polyurethane single and double lumen catheters with or

without stylet.

William A Cook Australia Pty Ltd

WC116	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter	Fr 3, length 55, 65cm; Fr 4, length 65cm, Fr 	$119.00	$142.00

6.5, 9.5, length 90cm

WC118	Cook Central Venous Long Term Catheter	Cook TPN double lumen catheter	Fr 5, length special; Fr 7, length 65cm, Fr 9 	$119.00	$183.00

length 80, 90cm, Fr 12, length special

set

William A Cook Australia Pty Ltd

WC117	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter set	Fr 3, length 55; Fr 4, length 65cm, Fr 6.5 	$164.00	$187.00

length 65, 90cm, Fr 9.5, length 90cm

WC119	Cook Central Venous Long Term Catheter Set	Cook TPN double lumen catheter set	Fr 7, length 65cm, Fr 9 length 90cm, Fr 12, 	$164.00	$228.00

90, special

T

William A Cook Australia Pty Ltd

WC121	Cook Central Venous Long Term Catheter	Cook TPN triple lumen catheter	Fr 8, length 90cm	$225.00

WC122	Cook Central Venous Long Term Catheter	Cook TPN triple lumen catheter set	Fr 8, length 90cm	$270.00

WC195	Cook Central Venous Catheterisation Kits	Long Term Drug Infusion Catheter With or Without Clamp 	Triple Lumen 12.5fr	$225.00

and Cuff

Prostheses List by Category, Groups and Sponsor	Page 76 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.2.2.6.4.2 Dialysis catheter, peritoneal

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA001	Tenckhoff Peritoneal Dialysis Catheter	Adult 2 cuff, Adult 1 cuff, Adult 0 Cuff	42cm to 47cm length. All Peritoneal Catheters	$170.00	$175.00

excluding the Swan Neck Fast Flow

Catheter, have an internal diameter of 2.67mm

and an external diameter of 4.95 mm.

KA002	Tenckhoff Peritoneal Dialysis Catheter	Paediatric 2 cuff, Paediatric 1 cuff, Neonatal 1 cuff	31cm to 37 cm length. All Peritoneal 	$170.00	$185.00

Catheters excluding the Swan Neck Fast

Flow Catheter, have an internal diameter of

2.67mm and an external diameter of 4.95 mm.

KA003	Fast Flow Peritoneal Dialysis Catheter 	Swan Neck, 2 cuff	Int.diam: 3.2mm; ext diam 5.49mm.All 	$200.00	$255.00

Peritoneal Catheters excluding the Swan Neck

Fast Flow Catheter, have an internal diameter

of 2.67mm and an external diameter of 4.95

mm.

KA004	Swan Neck Curl Peritoneal Dialysis Catheter	Adult 2 cuff, left	62 cm length. All Peritoneal Catheters 	$240.00	$300.00

excluding the Swan Neck Fast Flow Catheter,

have an internal diameter of 2.67mm and an

external diameter of 4.95 mm.

KA005	Swan Neck or Swan neck Tenckhoff Peritoneal Dialysis 	Adult-left, Adult-right, Adult, 2 cuff-left, Adult, 2 cuff-right	20 to 25cm external segment or 43cm length. 	$200.00	$235.00

Catheter	All Peritoneal Catheters excluding the Swan

Neck Fast Flow Catheter, have an internal

diameter of 2.67mm and an external diameter

of 4.95 mm.

KA006	Tenckhoff Peritoneal Dialysis Catheter, Curl	Adult, 2 cuffs	57 to 62cm length. All Peritoneal Catheters 	$199.00

excluding the Swan Neck Fast Flow Catheter,

have an internal diameter of 2.67mm and an

external diameter of 4.95 mm.

Prostheses List by Category, Groups and Sponsor	Page 77 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.3.1 Enteral feeding tube (general)

3.3.1.1 Enteral feeding tube, initial

Promedica Pty Ltd

PO003	Corflo Max 20fg PEG Kit Complete with 7fg Snare - 	Sterile enteral feeding tube with  accessories	20fg	$178.00

"Pull Type"

PO004	Corflo Max 20fg PEG Kit "Pull Type"	Sterile enteral feeding tube with  accessories	20fg	$178.00

3.3.2 Gastrostomy tube

3.3.2.1 Gastrostomy tube, initial

Abbott Australasia Pty Ltd

AY002	Flexiflo inverta PEG kit Basic, Flexiflo inverta PEG kit 	Composition - biocompatible silicone tube.  Items included 	20F	$205.00

with snare	in kit/product - Sliding retention disc, Insertion wire,

Gastrostomy tube with attached Dilator Catheter, seldinger

needle 14g, magna port connector, scalpel, Snare (in kit

with snare)

Bard Australia Pty Ltd

BA046	The Bard Button Implantable Injection, Infusion Port	Silicone Replacement Gastrostomy Device	18 - 24 French 	$293.00

BA047	Gastrostomy Tube	Silicone Tubes and Replacement Tubes	12 - 24 French	$205.00

BA075	Gauderer Ponsky 20Fr PEG Kits and Tubes	Genie PEG/Button System and replacement tubes	20Fr	$205.00	$365.00

Boston Scientific Australia Pty Ltd

BS141	EndoVive Initial Feeding Tube	Silicone enteral feeding tube	Up to 24 Fr	$205.00	$293.00

BS142	EndoVive Replacement Feeding Tube	Silicone enteral feeding tube	Up to 28 Fr	$90.00

Device Technologies Australia Pty Ltd

DE296	Pull PEG System	Initial placement percutaneous endoscopic gastrostomy kit	20Fr; 60cm	$205.00	$365.00

Prostheses List by Category, Groups and Sponsor	Page 78 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA015	Entristar Skin Level Gastrostomy Kits	Skin level non-balloon internal retention bolster gastrostomy	16fg x 1.5cm, 16fg x 1.7cm, 16fg x 2.0cm, 	$205.00	$235.00	Temporary approval, pending review of

kit, including Entristar gastrostomy tube, accessory bolus 	16fg x 2.7cm, 16fg x 3.0cm, 16fg x 3.5cm, 	product group

and continuous feeding tubes, syringes for inflation and 	20fg x 1.5cm, 20fg x 2.ocm, 20fg x 2.5cm,

flushin. Patient handbook	20fg x 3.0cm, 20fg x 3.5cm, 20fg x 4.0cm,

20fg x 4.5cm

KA017	NutriPort Balloon Skin Level Gastrostomy Kit	Skin level silicone balloon gastrostomy kit, including 	12fg x 0.8 - 5.0cm, 14fg x 0.8 - 5.0cm, 16fg 	$205.00	Temporary approval, pending review of

NutriPort gastronomy tube, accessory bolus and continuous	x 0.8 - 5.0cm	product group

feeding tubes, syringes for inflation and flushing, Patient

handbook

Kimberly-Clark Australia Pty Limited

KI001	Kimberly-Clark Aust Pty Ltd Enteral Feeding Kit	68914 MIC Gastrostomy Tubes Model 100 Series	MIC* Percutaneous Endoscopic Gastrostomy	$205.00

(P.E.G) Feeding Tubes/Kits 14, 20, 24

French #0630 Series PUSH (OTW) Method

& #0640Series PULL Method

KI002	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, Mic* 	68914 MIC Gastrostomy Tubes Model 100 Series	MIC* Percutaneous Endoscopic Gastrostomy	$205.00

Percutaneous Endoscopic Gastrostomy (P.E.G) Feeding 	 (P.E. G) Feeding BASIC Tubes/Kits 14, 20,

Tubes/Kits	24 French#0644 Series PULL Method

KI004	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, MIC-	68914 MIC Gastrostomy Tubes Model 100 Series	MIC-KEY* Low Profile Gastrostomy 	$205.00

KEY Low Profile Gastrostomy Feeding Tubes/Kits	Feeding Tubes/Kits 14 - 24 French, 0.8 cm -

4.5 cm

Promedica Pty Ltd

PO001	Corflo Cubby LPGD Kit	Low profile gastronomy device	12 - 24fg x 1.0 - 4.5cm	$205.00

Sherwood Davis & Geck

SG001	Gastrostomy Tube	EntriStar Single Pass PEG	16fg, 20fg	$205.00

William A Cook Australia Pty Ltd

WC072	Passport Low Profile Device	Enteral/Gastrostomy	FEEDING TUBE French Sizes: 20.0, 24.0 	$205.00

Length: 1.2,1.7,2.4,3.4,4.4 cm

WC185	Percutaneous Endoscopic Gastrostomy (PEG) System	PEG Enteral Feeding Kit - Push or Pull System	18, 20, 24 FR	$205.00

WC199	Cook Gastronomy Tubes	Russell Gastronomy Set	14fr, 17cm	$205.00

Prostheses List by Category, Groups and Sponsor	Page 79 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.3.2.2 Gastrostomy tube, subsequent

Abbott Australasia Pty Ltd

AY005	Flexiflo balloon gastrostomy tube	Composition - biocompatible silicone.  Items included in 	16 french, 18 french, 20 french	$90.00

kit/product - sliding retention disc and opened edged

feeding port

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA016	Kangaroo Gastrostomy Feeding Tubes	100% silicone gastrostomy with internal retention balloon	12fg, 14fg, 16fg, 18fg, 20fg, 22fg, 24fg	$90.00

Kimberly-Clark Australia Pty Limited

KI003	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, Mic* 	68914 MIC Gastrostomy Tubes Model 100 Series	Feeding Adaptors (Universal or Bolus) for use	$90.00

Percutaneous Endoscopic Gastrostomy (P.E.G) Feeding 	 with 14, 20 &24 F MIC* PEG's#0135

Tubes/Kits	&#0136 Series

KI005	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, MIC-	68914 MIC Gastrostomy Tubes Model 100 Series	SECUR-LOK* Extension Sets & Bolus 	$90.00	$120.00

KEY Low Profile Gastrostomy Feeding Tubes/Kits	Feeding Sets 30.5 cm & 60.9 cm

KI007	MIC* Gastrostomy Feeding Tube; MIC* Bolus 	Medical Grade Silicone Construction. Silicone Internal 	12fr - 3-5ml balloon, 14fr - 3-5ml balloon, 	$90.00	$110.00

Gastrostomy Tube	Inflatable Retention Balloon, SECU-LOK* External 	16fr - 3-5ml balloon, 18fr - 7-10ml balloon,

Retention Ring, Universal Feeding Port Connector, 	20fr - 7-10ml balloon, 22fr - 7-10ml balloon,

Medication Port, Dual Exit Ports, Tapered Distal Tip, 	24fr - 7-10ml balloon, 26fr - 7-10ml balloon,

Radiopaque Strip, Sterile.	28fr - 7-10ml balloon, 30fr - 7-10ml balloon,

Nutricia Australia

NF001	Flocare Gastrostomy tube (G-tube)	The Flocare Gastrostomy tube can be used as a 	Ch10, 14, 18, 20	$90.00

replacement of an existing gastrostomy tube (PEG or G-

tube) or as an initial gastrostomy tube during a surgical

intervention. This balloon tube is made of medical grade

silicone.

Promedica Pty Ltd

PO002	Corflo Gastronomy Replacement Device	Dual and triple gastronomy tubes	Dual 12 - 24fg 5 - 20cc balloon; Triple 16 - 	$90.00

24fg 20cc balloon

William A Cook Australia Pty Ltd

WC070	Gastrostomy Tube	PEG Balloon Replacement Tube - Single	18, 24fr	$90.00

Prostheses List by Category, Groups and Sponsor	Page 80 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.3.3 Jejunostomy tube

3.3.3.1 Jejunostomy tube

Kimberly-Clark Australia Pty Limited

KI006	Kimberly-Clark MIC* Transgastric-Jejunal Feeding 	Medical Grade Silicone Construction, Silicone Internal 	16-22 French - 45cm jejunal length - 7-10ml 	$500.00	$720.00

Tubes (Surgical Placement Kits)	Retention Balloon, SECUR-LOK* External Retention ring,	balloon

Universal Jejunal Feeding Port Connector, Gastric

Decompression Port, Multiple Gastric & Jejunal Exit Ports,

Tungsten Weighted Jejunal Portion, Tapered Distal Tip,

Radiopaque Stripe, Sterile

KI008	MIC-KEY Low Profile Transgastric-Jejunal Feeding 	100% medical grade silicone tube. 40/60 tungsten weighted	16, 18 and 22Fr, 1.0 to 3.5cm stomal length, 	$170.00	$520.00

Tube	 jejunal post pyloric feeding tube. Gastric drainage ports, 	15 to 45cm jejunal length

jejunal feeding ports

KI009	MIC Transgastric-Jejunal Feeding Tube	100% medical grade silicone tube. 40/60 tungsten weighted	16, 18, 22Fr, 15 to 45cm jejunal length, 7-	$500.00

jejunal post pyloric feeding tube. Gastric drainage ports, 	10ml balloon volume

jejunal feeding ports

William A Cook Australia Pty Ltd

WC098	Cook Jejeunostomy Catheters	Composition - Catheter Radiopaque Stripe, includes 	12fr, length 66cm	$170.00

Wireguide, Airplug, Fixation Device

WC099	Cook Jejunostomy Catheters	Composition - Catheter Radiopaque Stripe, includes 	9fr, Length 24cm	$170.00

Wireguide, Airplug, Fixation Device

WC198	Cook Jejunostomy Catheters	Heidelberg Jejunostomy Catheter	12fr, 60cm	$170.00

3.3.4 Cecostomy Catheter

William A Cook Australia Pty Ltd

WC197	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Catheter	10fr, Standard or Extra Long	$355.00

Prostheses List by Category, Groups and Sponsor	Page 81 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

kit

William A Cook Australia Pty Ltd

WC196	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Set consisting of: Suture 	10fr, Set	$480.00	$630.00

Anchor Set, Drainage Catheter, Wireguide, Cecostomy

Catheter Set, Adapter, Connecting Tube

3.4.1 Adjustable gastric band with port

Allergan Australia Pty Limited

AW001	Lap-Band Adjustable Gastric Banding (LAGB) System	-	AP-small and AP-large	$3,300.00

Endotherapeutics Pty Ltd

ET042	Soft Gastric Banding System	Sterile long term implant for the treatment of obesity.  	One size only	$3,300.00	$3,400.00

Supplied in kit format with catheter, port and huber needles

Johnson & Johnson Medical Pty Ltd

JJ412	Swedish Adjustable Gastric Band	Silicone	One size only	$3,300.00

Lifehealthcare Pty Ltd

LH003	Adjustable Peri Gastric Belt-Midband	Silicon moulded peri gastric band and implantable chamber	Peri gastric band - 2.2 x 17.5 x 0.8cm, 	$3,264.00

Implantable chamber - one size only

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG002	Heliogast Adjustable Gastric Band	Silicone and Titanium	HAGE (evolution), small band - inner 	$3,264.00

diameter 26mm; HAGA (advanced), large

band - inner diameter 28mm

3.4.1 Adjustable gastric band with port

Endotherapeutics Pty Ltd

ET056	Soft Basket Band. INFUSION PORT.	TITANIUM PORT	9.8CMS/13.3CMS	$300.00	$400.00

ET058	Soft Basket Band	Adjustable Gastric Band Implant	115 MM CUFF	$3,000.00	$3,500.00

Prostheses List by Category, Groups and Sponsor	Page 82 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.4.2 Gastric band Injection Port (replacement)

Allergan Australia Pty Limited

AW002	Lap-Band Access Port	For use with the Lap-Band Adjustable Gastric Banding 	Standard, low profile	$620.00

System

Johnson & Johnson Medical Pty Ltd

JJ444	Swedish Adjustable Gastric Band - Injection Port & 	Implantable infusion port & locking connector for the 	One size only	$620.00

Locking Connector	Swedish Adjustable Gastric Band.  Replacement port &

locking connector for use with the Swedish Adjustable

Gastric Band

Lifehealthcare Pty Ltd

LH413	Miband Access Port (replacement)	A device, metallic or non- metallic, implanted in a patient 	Port Size - 10.6mm High, 24.7mm Base 	$620.00

for a short or long-term delivery of fluid or medications to 	width- One Size only

the vascular system  or other anatomical region. The device

consists of a housing, self-sealing septum and a catheter

connection mechanism. The device may be implanted in a

variety of anatomical locations.

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG018	HAGA Acess Port	Access Port contains Titanium and Silicone	Standard	$618.00

3.5.1 Resorbable

Johnson & Johnson Medical Pty Ltd

JJ432	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, the material is	2.5 x 8.75cm	$15.00	$30.00

biocompatible and also bactericidal.

Prostheses List by Category, Groups and Sponsor	Page 83 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.5.4.5 Haemostatic sponge. >200cm

Johnson & Johnson Medical Pty Ltd

JJ433	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, the material is	15.2 x 22.9cm	$60.00	$106.00

biocompatible and also bactericidal.

3.5.2 Haemostatic occluder pin

Design for Vision Pty Ltd

DV024	Haemorrhage Occluder Pin with applicator	Designed to control severe presacral bleeding during pelvic 	Two sizes: 10mm and 14mm	$430.00

surgery.

3.5.3 Haemostatic powder

Lifehealthcare Pty Ltd

LH408	Geli Putty(Powder, 1g)	Geli Putty is a single- use, water insoluble, fully 	1 gram	$47.00

bioabsorbable gelatin powder comprising milled sponges(

Gelita-Spon) made from 100% pharmacuetical grade

porcine gelatin mixed with sterile liquid (e.g. saline or

antibiotic solution) prior to use to for

3.5.4 Haemostatic sponge.

Lifehealthcare Pty Ltd

LH405	Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon IR	Gelita- Spon IR is a sterile, single-use, fully bioabsorbable 	GS-322-Gelita-Spon IR Sponge; 200s-	$10.00	$45.00

Sponge	gelatin sponge indicated to achieve rapid haemostasis(e.g. 	3x2x2mm

surgically or trauma induced) by tamponade, and arterial 	                   GS- 344- Gelita- Spon IR

embolisation. also indicated for use as a vehicle for a wide 	Sponge; 100s-4x4x4mm

range of therapeutic agentsm including antibiotics, thrombin

and chemotherapeutics without reduction in the sponge's

haemostatic effect.

Prostheses List by Category, Groups and Sponsor	Page 84 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH410	Gelita-Spon Absorbable Gelatin Sponge Anal-Vaginal 	'Gelita-Spon Anal-Vaginal Tampon is a sterile, single use, 	3x8cm	$17.00	Temporary Listing - Feb 2009

Tampon	fully bioabsorbable gelatin sponge  indicated to achieve

rapid haemostasis by tamponade, also indicated for use as

a vehicle for a wide range of therapeutic agents, including

antibiotics, thrombin and chemotherapeutics without

reduction in the sponge's haemostatic effect.

LH411	Gelita-Spon Absorbable Gelatin Sponge - Gelita-Spon 	GelitaSpon  ENT Sponge is a sterile, single use, water 	8x5x1 cm & 1x1x1cm	$10.00

ENT Sponge	insoluble, fully bioabsorbable, firm, high-density gelatin

sponge  indicated to achieve rapid haemostasis during ENT

surgery .

LH412	Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon 	Gelita-Spon Dental Cube is a  sterile, single-use, indicated 	GS-310 - Gelita-Spong Dental Cubes; 50s - 	$3.00

Dental Cube	to achieve rapid haemostasis dental surgery (oral bone and 	10 x 10 x 10mm

soft tissue), a void filler to mitigate against the risk of

sclerosis created by tooth extraction, root amputations, and

the removal of cysts, tumours and impacted teeth.  its

absorptive capacity being a function of the amount of gelatin

incorporated and, hence, the physical size of the sponge.

also indicated for use as a vehicle for a wide range of

therapeutic agents.

LH414	Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon 	Gelita-Spon Standard is a sterile, single- use, fully 	GS-010-Gelita-Spon Standard; 10s-	$10.00

Standard	bioabsorbable gelatin sponge indicated to achieve rapid 	80x50x10m       GS-060-Gelita-Spon

haemostasis(e.g. surgically or trauma induced)by 	Standard Size 12-7; 10s-60x20x7mm

tamponade, and arterial embolisation . also indicated for 	                                                           GS-

use as a vehicle for a wide range of therapeutic agents, 	060-Gelita-Spon Standard Size 12-7; 10s-

including antibiotics, thrombin and chemotherapeutics 	60x20x7mm

without reduction in the sponge's haemostatic effect.	                    GS-650- Gelita Spon Standard

Size 200; 10s-125x80x10mm

GS-110-Gelita-

Spon Standard Size Special 20; 20s-

80x50x1mm

GS-950-Gelita-Spon Standard Film;

20s-200x70x0.5mm

Prostheses List by Category, Groups and Sponsor	Page 85 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.5.4.1 Haemostatic sponge. 0-10cm

Johnson & Johnson Medical Pty Ltd

JJ014	Surgicel ORIGINAL Absorbable Haemostat	Oxidised regenerated cellulose gauze, the material is 	1.25  x 5cm	$10.00	$13.00

biocompatible and also bactericidal

JJ015	Spongostan Absorbable Haemostat	Dental (Box of 24)	10 x 10 x 10mm	$3.00

JJ023	Surgicel Nu-Knit Absorbable Haemostat	High density, oxidised regenerated cellulose, the material is 	2.5 x 2.5cm	$10.00	$19.00

biocompatible and also bactericidal

Pharmacia Australia Pty Ltd (Pfizer Australia Pty Ltd)

PU056	Gelfoam Sterile Sponge	Sterile, pliable, nonantigenic surgical sponge prepared from 	Size 12 - 20mm x 60mm x 7mm, packet of 4; 	$10.00	$18.00

specially treated purified gelatin solution	Size 100 - 80mm x 125mm x 10mm in

individual packet

3.5.4.2 Haemostatic sponge. 11-30cm

Bard Australia Pty Ltd

BA119	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of surgical	12.5-7   2 cm x 6.25cm x 7mm	$15.00

bleeding

Johnson & Johnson Medical Pty Ltd

JJ006	Spongostan ORIGINAL Absorbable Haemostat	Anal 20s (Box of 20)	80 x 30mm	$17.00

JJ007	Spongostan ORIGINALAbsorbable Haemostat	Anal 5s (Box of 5)	80 x 30mm	$17.00

JJ009	Surgicel Fibrillar Absorbable Haemostat	Fibrous fleece, oxidised regenerated cellulose, the material 	2.5 x 5.1cm	$15.00	$40.00

is biocompatible and also bactericidal

3.5.4.3 Haemostatic sponge. 31-75cm

Bard Australia Pty Ltd

BA120	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of surgical	50   8cm x 6.25cm x 1cm	$10.00

bleeding

Johnson & Johnson Medical Pty Ltd

JJ003	Spongostan Absorbable Haemostat	Standard (Box of 20)	70 x 50 x 10mm	$10.00

Prostheses List by Category, Groups and Sponsor	Page 86 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ005	Spongostan Absorbable Haemostat	Special (Box of 20)	70 x 50 x 1mm	$10.00

JJ008	Surgicel Nu-Knit Absorbable Haemostat	High density, oxidised regenerated cellulose, the material is 	7.5 x 10cm	$10.00	$38.00

biocompatible and also bactericidal

JJ013	Surgicel ORIGINAL Absorbable Haemostat	Oxidised regenerated cellulose gauze, the material is 	5 x 7.5cm	$10.00	$22.00

biocompatible and also bactericidal

JJ030	Surgicel Fibrillar Absorbable Haemostat	Fibrous fleece, oxidised regenerated cellulose, the material 	5.1 x 10.2cm	$15.00	$73.00

is biocompatible and also bactericidal

Lifehealthcare Pty Ltd

LH424	Gelitacel Oxidised Resorbable Cellulose Gauze (15)	Gelitacel is a white, single-use, non-toxic, sterile, 	5 x 7 cm	$10.00	$18.00

bioarbsorbable, weakly acidic, viscose-free, knitted

haemostatic fabrci (USP)

3.5.4.4 Haemostatic sponge. 76-200cm

Bard Australia Pty Ltd

BA121	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of surgical	100   8cm x 12.5cm x 1cm	$30.00

bleeding

BA122	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of surgical	100/Thin   8cm x 12.5cm x 3mm	$30.00

bleeding

BA123	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of surgical	200   8cm x 25cm x 1cm	$30.00

bleeding

Johnson & Johnson Medical Pty Ltd

JJ004	Spongostan Absorbable Haemostat	Film (Box of 20)	200 x 70 x 0.5mm	$30.00

JJ012	Surgicel ORIGINAL Absorbable Haemostat	Oxidised regenerated cellulose gauze, the material is 	5-10.2 x 20-35cm	$30.00	$40.00

biocompatible and also bactericidal

JJ029	Surgicel Fibrillar Absorbable Haemostat	Fibrous fleece, oxidised regenerated cellulose, the material 	10.2 x 10.2cm	$45.00	$114.00

is biocompatible and also bactericidal

Lifehealthcare Pty Ltd

LH423	Gelitacel Oxidised Resorbable Cellulose Gauze (10)	Gelitacel is a white, single use, non-toxic, sterile, hydorphilic	5 x 35 cm, 10 x 20 cm	$30.00	$37.00

bioabsorbable, weakly acidic, viscose-free, knitted

haemostatic fabric (USP)

Prostheses List by Category, Groups and Sponsor	Page 87 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.6.1 Biliary stent

Ackermann Australia Pty Ltd

AK003	Biliary Stents	Biliary stent, straight, curved, bended, pigtails and double 	5.0 to 11.5 french	$55.00

pigtail

Pyramed (Australia) Limited

PY003	Sinus-Flex Vascular-Biliary Stent	Nickel Titanium Alloy	4 - 12 x 40 - 80mm	$2,225.00

William A Cook Australia Pty Ltd

WC269	Fusion Marathon Biliary Stent	Biliary Plastic Stent with anti-reflux sleeve preloaded on the	Stent diameter: 10FR; Lengths 5 to 15cm	$300.00

OASIS delivery device

3.6.1.1 Biliary stent, stent wall not reinforced

Boston Scientific Australia Pty Ltd

BS054	Flexima Biliary Stent	Polyurethane Biliary Stent	Diameters up to 12Fr & lengths up to 15cm	$200.00

BS055	RX Biliary Stent	Polyurethane Biliary Stent	Diameters up to 12Fr & lengths up to 15cm	$200.00

BS066	Biliary Drainage Stent, Amsterdam Biliary Stent	C-Flex or Polyurethane Biliary Stent	Diameters up to 12Fr & lengths up to 15cm	$200.00

Olympus Australia

OL003	Bile Duct Stent	Polyethylene Stents	7FR - 12FR 3cm - 15cm	$82.00

OL004	Bile Duct Stent	Polyethylene Stents	7FR - 10FR 3cm - 15cm	$82.00

OL005	Bile Duct Stent	Fluorinated Ethylene Propylene	10FR - 14FR 3cm -15cm	$82.00

OL008	Olympus Biliary Stent Set	Radio-opaque Polyethglare Stent Set	7Fr 3cm - 15cm, 8Fr 3cm - 15cm, 10Fr 3cm 	$82.00	$195.00

- 15cm

William A Cook Australia Pty Ltd

WC001	Cotton-Huibregste Biliary Stent Set	7 - 11.5Fr, Length 5 - 15cm	$200.00

WC006	Cotton-Leung Biliary Stent Only	6 - 11.5Fr, Length 3 - 20cm	$82.00

WC008	Cotton-Huibregste Biliary Stent Only	7 - 11.5Fr, Length 5 - 21cm	$82.00

WC012	Zimmon Biliary Stent Only	5 - 11.5Fr, Length 3 - 15cm	$82.00

Prostheses List by Category, Groups and Sponsor	Page 88 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC013	Zimmon Biliary Stent Set	Double pigtail plastic biliary stent with delivery system	5 - 11.5Fr, Length 2 - 18cm	$200.00

WC062	Biliary Stents	Miller Set (UBSS-MLR). Double Pigtail Stent for Drainage	Stent: 10,12,14 Fr Stent Length: 2.5,5,7.5 cm	$150.00

of bile from the Common Duct into the Duodenum	 Positioner Length: 25cm.

WC064	Tannenbaum Biliary Stent only	Plastic biliary stent with proximal and distal flaps	Diameter: 8.5,10,11.5 FR. Length Between 	$150.00

Flaps: 5 -->15 cm

WC071	Nasobiliary Drainage Set	Nasobiliary drainage catheter Set includes: nasal transfer 	Diameter: 5 to 10 FRLength: 250cm	$82.00

tube, drainage connecting tube, wire guide

WC078	Cook Biliary Stents	Composition Plastic, includes Stent, Wireguide & Positioner	French 7.0, length 4cm	$268.00

WC106	Cotton-Leung Biliary Stent Set	Polyethylene Stent preloaded on an Oasis Introduction 	Diameter 7 - 11.5 FR,  length 5 - 15cm	$200.00

System

WC108	Geenan Pancreatic Stent Set	Radiopaque Polyethylene Stent with or without ductal flaps 	Diameter 3 - 11.5 FR, Length 2 - 15cm	$200.00

- includes pushing catheter

WC166	Solus Biliary Stent  Set	Double Pigtail with OASIS introducer. Sof-flex material - 	Diameter 10 FR, Length:1 - 15 cm Between 	$268.00

with radiopaque bands.	pigtails

WC228	Tannenbaum Biliary Stent Set preloaded on the OASIS 	Plastic Biliary Stent	8.5 - 11.5 Fr,   5 - 15 cm	$200.00

Introduction System

WC267	Cotton-Leung Biliary Stent Only	Cotton-Leung Biliary Stent Only	6 - 11.5 Fr; Length 3 - 20cm	$82.00

percutaneous, transhepatic

William A Cook Australia Pty Ltd

WC017	Cotton-Leung Biliary Stent Set	nil provided	7 - 11.5Fr, Length 5 - 18cm	$200.00

preloaded

William A Cook Australia Pty Ltd

WC216	Fanelli Laparoscopic Endobiliary Stent Set	Fanelli stent (double flange white polyehtylene), tracer 	7.0 French diameter x 6cm length double 	$585.00

Hybrid .035"X150cm Guide (slippery wire), 8.5 Fr 	flange stent loaded in an 8.5 fr delivery system.

Introducer and Pusher Catheter (TFE) System with four

radiopaque accuracy markers, two way terminal adapter

Prostheses List by Category, Groups and Sponsor	Page 89 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.6.1.2.1 Biliary stent, reinforced wall, covered

Boston Scientific Australia Pty Ltd

BS052	Wallstent Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & lengths up to 	$2,750.00

100mm

BS070	Wallstent RX Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & lengths up to 	$3,025.00

100mm

BS117	WallFlex RX Biliary Stent	Platinol, self-expanding stent	Diameters up to 10mm & lengths up to 	$3,025.00

100mm

Endotherapeutics Pty Ltd

ET038	SX-Ella Biliary Stent	Uncovered, self-expanding nitinol stent	Dia 8-12mm, length 50-77mm	$3,025.00	$3,200.00

N Stenning  & Co Pty  Ltd

NG047	Hanarostent Biliary Stent	Biliary Stent Silicone Covered Nitinol Wire 99% Pure Gold	Diameter: 8mm - 10mm Length: 50mm - 	$3,025.00

complete with delivery device	100mm

AM

W L Gore & Associates

GT116	Gore Biliary Endoprostheses	ePTFE	Short or Long Catheter 8-10mmx4-8cm	$3,025.00	$3,605.00

3.6.1.2.2 Biliary stent, reinforced wall, uncovered / bare metal

Bard Australia Pty Ltd

BA124	Memotherm Biliary Stent	Nitinol. Includes deployment system	Sizes - Diameter 8 - 10mm, Length 40 - 	$2,225.00

100mm

Boston Scientific Australia Pty Ltd

BS051	Wallstent Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & lengths up to 	$2,225.00

100mm

ConMed Linvatec Australia Pty Ltd

LV095	Niti-S Biliary Stent D-Type	Niti-S Biliary Stent D-Type Uncovered.  Deployed via 	10mm Diameter x 50 - 120mm length	$2,225.00	$3,000.00

stent delivery system for use TTS or percutaneously

LV096	Niti-S Biliary Stent Y-Type and T-Type	Niti-S Biliary is a self expanding metal stent, made from 	10mm Diameter x 5 - 10cm Length	$2,225.00	$3,000.00

Nitinol uncovered.  Stent Y-Type for TTS approach, T-

Type for percutaneous approach.

Prostheses List by Category, Groups and Sponsor	Page 90 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LV097	Niti-S Biliary Covered Stent	Niti-S Biliary self expanding nitinol stent fully covered with 	Diameter 8mm and 10mm Stent lengths 40-	$2,225.00	$2,984.00

a silicone membrane and a nylon drawstring for removal. 	120mm

Stent delivery system is designed for use TTS for

endoscopic or percutaneous procedures

Endotherapeutics Pty Ltd

ET039	SX-Ella Tips Stent	Uncovered, self-expanding nitinol stent	Dia 10-14mm, length 52-77mm	$2,225.00	$3,600.00

Pyramed (Australia) Limited

PY002	Optimed Biliary Sinus Stent	Nickel Titanium Alloy	4 - 12 x 30 - 100mm	$2,225.00

PY004	Sinus-Endoflex-Biliary Sinus Stent	Nickel Titanium Alloy	40 x 7, 8, 9, 10mm; 60 x 7, 8, 9, 10mm; 80 x	$2,225.00

7, 8, 9, 10mm

William A Cook Australia Pty Ltd

WC174	Zilver Biliary Stent System	Self expanding Metal Biliary Stent System	Diameters: 6, 8, 10mm; Lengths: 4, 6,8cm	$2,225.00

WC200	Fusion Zilver Biliary Stent System	Self expanding Metal Biliary Stent with Fusion Introducer 	Diameters: 6, 8 & 10mm; length: 4, 6 & 8cm	$2,225.00

System

WC270	Zilver Biliary Stent System	Self expanding metal biliary stent system	Diameters 6, 8, 10mm; Lengths 4, 6, 8 cm	$2,225.00

3.6.2 Colonic stent

3.6.2.2 Colonic stent, reinforced wall

Bard Australia Pty Ltd

BA088	Memotherm Stents 	Colorectal, Nitinol, Self-expanding	25-30mm D, 60-100mm Length	$3,060.00

N Stenning  & Co Pty  Ltd

NG050	Hanarostent Colo-Rectal Stent	Colo-Rectal Stent Silicone covered Nitinol Wire 99% Pure	16mm - 24mm Diameter, 38mm - 130mm 	$1,600.00

Gold complete with delivery device	Length

William A Cook Australia Pty Ltd

WC100	Colonic Z Stent with Introduction System	Composition of Stent Stainless Steel, includes Stent 	Dia 25mm, length 4, 6, 8, 10, 12cm	$1,600.00

Introducer Set

self-expanding

Boston Scientific Australia Pty Ltd

BS071	Ultraflex Precision Colonic Stent	Nitinol, self expanding stent	Diameters up to 30mm & lengths up to 	$3,060.00

150mm

Prostheses List by Category, Groups and Sponsor	Page 91 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ConMed Linvatec Australia Pty Ltd

LV101	Niti-S Colorectal Stent D-type	Niti-S D- type Colorectal self-expanding metal stent made 	Diameters: 18 - 28mm Lengths: 60 - 120mm	$3,060.00	$3,498.00

from Nitinol in unique D mesh construction, uncovered

OTW or TTS.  With string for ease of removal.

LV102	Niti-S Colorectal Stent	Niti-S Colorectal self-expanding metal stent made from 	Stent Dimensions mm: 18x26x30, 18x24x30, 	$3,060.00

Nitinol.  Stent PTFE covered and uncovered OTW or TTS	20x26x30, 22x30x30, 24x30x30, 20x28x30

with string for ease of removal.	Length mm: 30-90

3.6.3 Oesophageal stent

3.6.3.2.1 Oesophageal stent, reinforced wall, covered

Boston Scientific Australia Pty Ltd

BS049	Wallstent Flamingo Oesophageal Stent	Monofilament wire, self-expanding stent	Diameters up to 30mm & lengths up to 	$3,500.00

150mm

BS089	WallFlex Oesophageal Stent	Nitinol, self expanding stent	Diameters up to 30mm & lengths up to 	$3,500.00

150mm

BS102	Polyflex Oesophageal Stent	Polyester braided material encapsulated with silicone, self 	Diameters up to 30mm & lengths up to 	$2,300.00

expanding stent	150mm

ConMed Linvatec Australia Pty Ltd

LV100	Niti-S Oesophageal Double Stent	Niti-S Oesophageal Double self-expanding metal stent 	Diameter16mm x 24mm, 18mm x 26mm, 	$3,500.00	$3,550.00

made from Nitinol, with an antimigration outer uncovered 	20mm x 28mmLength60-150mm

wire construction to allow the mesh to embed in the

oesophageal wall. Also with anti-reflux valve inner

polyurethane layer to prevent tumour ingrowth. String for

retrieval or repositioning.

William A Cook Australia Pty Ltd

WC068	Esophageal Anti-reflux Stent	Self Expanding Metal Stent with Polyurethane coating and 	Flared End Diameter: 25mm	$2,200.00

Dua anti-reflux valve	Shaft Diameter: 18mm

Length: 8, 10, 12, 14cm

WC246	Evolution Oesophageal Metal Stent	Oesophogeal Self Expanding Metal Stent with controlled 	8, 10, 12.5 and 15cm Lengths, 25mm flared 	$3,500.00

release delivery system	ends, 20mm body

Prostheses List by Category, Groups and Sponsor	Page 92 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.6.3.2.2 Oesophageal stent, reinforced wall, uncovered

Boston Scientific Australia Pty Ltd

BS046	Ultraflex Oesophageal Stent; Ultraflex Oesophageal NG 	Nitinol, self expanding stent	Diameters up to 30mm & lengths up to 	$2,500.00

Stent	150mm

ConMed Linvatec Australia Pty Ltd

LV099	Niti-S Oesophageal Fully Covered Stent	Niti-S Oesophageal fully covered self expanding nitinol 	Diameter16mm x 24mm, 18mm x 26mm, 	$2,500.00	$3,498.00

stent with a covering of PTFE or silicone and nylon 	20mm x 28mm and 22mm x 30mmLength

drawstring for removal or repositioning.	60-150mm

Device Technologies Australia Pty Ltd

DE262	ALIMAXX-E Esophageal Stent System	Esophageal stent, radiopaque, self expanding nitinol 	Diameter 18-22mm, Length 70-120mm	$2,500.00

covered stent, premounted on a delivery system

Endotherapeutics Pty Ltd

ET001	Ferx Ella Esophageal Stent	Kit includes esophageal stent, introducer, balloon catheter	Diam 20mm, Length 80 - 160mm	$3,500.00

ET045	Boubella Esophageal Stent	Self expandable stainless steel wire stent with anti-reflux 	Length 90 - 195mm	$3,500.00	$3,800.00

valve

N Stenning  & Co Pty  Ltd

NG048	Hanarostent/Choostent Covered Oesophageal Stent	Oesophageal Covered Stent Silicone Nitinol Wire 99% 	Diameter: 18mm - 22mm Usable Length: 	$2,500.00

Pure Gold Complete with delivery device	30mm - 130mm

Pyramed (Australia) Limited

PY007	Sinus-Esophageal Stent	Self expanding stent made of nickel - titanium alloy	Diameter 24-18-24mm, length 	$2,500.00

50,70,90,120mm; Diameter 26-20-26, length

50,70,90,120mm

William A Cook Australia Pty Ltd

WC182	Esophageal EZS Stents Polyurethane Coating	Uncoated Flange Esophageal Stent with Z-Speed TM 	8, 10, 12, 14cm	$2,500.00

Introducer

3.6.4 Pancreatic

3.6.4.1 Pancreatic stent, not reinforced wall

William A Cook Australia Pty Ltd

WC010	Zimmon Pancreatic Stent Only	Plastic pancreatic stent	Diameters 5 - 7Fr, Length 2 - 15cm	$85.00

Prostheses List by Category, Groups and Sponsor	Page 93 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC079	Zimmon Pancreatic Stent	Single pigtail with radio-opaque band	Diameter 4 - 10FR, Length 2 - 18cm	$85.00

WC080	Zimmon Pancreatic Stent	Single pigtail plastic biliary stent with long curl	Diameter 5 - 7 FR, Length 2 - 15cm	$85.00

WC123	Geenen Pancreatic Stent	Straight plastic pancreatic stent with or without ductal flaps	Diameter 3 - 11.5 FR, length 2 - 15cm	$85.00

WC212	Zimmom Pancreatic Stent	Single pigtail radio-opaque Polyethylene Stent with or 	Diameter 3 - 7 FR, Length 3 - 18cm	$85.00

without ductal flaps

WC271	Geenen Pancreatic Stent	Straight plastic pancreatic stent with or without ductal flaps	Diameter 3 - 10 Fr; length 2 - 15cm	$85.00

3.6.5 Other enteral stent

William A Cook Australia Pty Ltd

WC268	Evolution Enteral Metal Stent	Enteral Metal Stent	Diameter 22 to 25mm body; 27 to 30mm 	$3,250.00

flanges. Length: 6 to 12cm

3.6.5.1 Other enteral stent, reinforced wall, covered

Boston Scientific Australia Pty Ltd

BS053	Wallstent Enteral Stent	Monofilament wire, self-expanding stent	Diameters up to 30mm & lengths up to 	$3,000.00

150mm

BS090	WallFlex Enteral Stent (Duodenal/Colonic)	Nitinol, self expanding stent	Diameters up to 30mm & lengths up to 	$3,500.00

150mm

ConMed Linvatec Australia Pty Ltd

LV094	Niti-S Pyloric Stent D-type	Niti-S Pyloric self-expanding metal stent D-type made from	Diameter:  16 - 18mm Length: 40 - 120mm	$3,000.00	$3,050.00

Nitinol in D mesh construction, uncovered, OTW or TTS

3.6.6 Tracheobronchial stent

3.6.6.1 Tracheobronchial stent, reinforced wall

Boston Scientific Australia Pty Ltd

BS047	Ultraflex Tracheobronchial Stent	Nitinol, self expanding stent	Diameters up to 25mm & lengths up to 80mm	$3,000.00

Prostheses List by Category, Groups and Sponsor	Page 94 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS101	Polyflex Airway Stent	Polyester braided material encapsulated with silicone, self 	Diameters up to 25mm & lengths up to 80mm	$2,300.00

expanding stent

BS103	Dynamic (Y) Stent	Bifurcated Tracheobronchial stent. Bronchial Limbs made 	Diameters up to 25mm & lengths up to 	$3,000.00

of silicone and tracheal stem made of silicone with 	120mm

embedded stainless steel c-shape rings.

N Stenning  & Co Pty  Ltd

NG049	Hanarostent - Covered Tracheal airway Stent	Tracheal Airway Stent Silicone Nitinol Wire 99% Pure 	Diameter: 12mm - 22mm Usable Length: 	$3,000.00

Gold Complete with delivery device	30mm - 80mm Total Length:  40mm - 80mm

endobronchial valve

Medtel Australia Pty Ltd

ME124	Emphasys Endobronchial Valve	One way valve	Small, Medium, Large	$6,300.00

nitinol

Device Technologies Australia Pty Ltd

DE259	AERO Tracheobronchial Stent System	Radiopaque self-expanding nitinol stent and delivery system	Diameter 10-18mm, length 20-80mm	$3,000.00

3.8.1 Adhesion Barrier

Genzyme Australasia Pty Ltd

GE011	Sepraspray Adhesion Barrier	Sepraspray Adhesion Barrier Kit - 1 Box containing 1 x 1g	1 x 1g of Powder Reload and Applicator	$480.00	$510.00	Temporary Listing

of Powder Reload and Applicator

GE012	Sepraspray Adhesion Barrier	Sepraspray Adhesion Barrier Reload 1g - 1 Box containing	1 x 1g of Powder	$345.00	$375.00	Temporary Listing

1 x 1g of powder

Medtronic Australasia Pty Ltd

MC618	Medishield	Medishield is a co-polmer gel composed of 	3cc Syringe	$745.00	$1,300.00	Temporary approval - funded when clinical

carboxymethylcellulose and polyethylene.	indications are present.

Prostheses List by Category, Groups and Sponsor	Page 95 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.1.1 Accessory Kit only

Gyrus Australasia Pty Ltd

GY082	SprayGel Air Assisted Sprayer	SK-A-6001 SprayGel Sprayer Kit; AK-A-4210  	One size only;  AK-A-4210 - 5 	$135.00	Temporary approval - funded when clinical

SprayGel Open Surgery Applicator	Applicators/Box	indications for use are present.

3.8.1.2 Bioabsorbable Membrane, (e.g. sodium hyaluronate impregnated patch)

Endotherapeutics Pty Ltd

ET051	Surgiwrap	Bio Absorbable Antiadhesion Barrier	All sizes with and without suture holes	$345.00	$500.00	Temporary approval - funded when clinical

indications are present.

Genzyme Australasia Pty Ltd

GE006	Seprafilm Adhesion Barrier	Sodium hyaluronate carbomethylcellulose membrane	13cm  x 15cm	$345.00

Johnson & Johnson Medical Pty Ltd

JJ010	Interceed Absorbable Adhesion Barrier	Oxidized Regenerated Cellulose	7.6cm x 10.2cm	$172.00	$175.00	Temporary Approval - Funded when clinical

indications for use are present.

resorbable

Johnson & Johnson Medical Pty Ltd

JJ464	Divide Absorbable Adhesion Barrier	Oxidised regenerated cellulose	3.8 x 5.1cmm	$172.00	$213.00

3.8.1.3 Bioabsorbable Membrane, spray

Gyrus Australasia Pty Ltd

GY083	SprayGel Adhesion Barrier Polymer Kit	PK-A-6010 SprayGel Polymer Kit; PK-A-4210 SprayGel	One size only; PK-A-4210 - 5 Kits/Box	$300.00	Temporary approval - funded when clinical

Open Surgery Polymer Kit (10ml)	indications for use are present.

Prostheses List by Category, Groups and Sponsor	Page 96 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.1.4 Bioabsorbable Membrane, gel

Johnson & Johnson Medical Pty Ltd

JJ700	Ethicon Intercoat Absorabable Adhesion Barrier Gel	Combination of Polyethylene Oxide (PEO) and Sodium 	2 x 20ml Sterile Syringes, 1x Applicator	$500.00

Carboxymethylcellulose stabilised with Calcium and made

isotonic with Sodium Chloride. Kit contains 2 x 20ml

Sterile Syringes, 1 x Applicator

1g

Advanced Surgical Technologies

AD067	Adcon Gel for Tendons	Adcon Gel	1 gram only	$500.00	$560.00	Temporary Approval - Funded when clinical

indications for use are present.

3g

Advanced Surgical Technologies

AD066	Adcon Anti-Adhesion Barrier Gel	Adcon Gel	3 gram	$745.00	Temporary Approval - Funded when clinical

indications for use are present.

3.8.2 Ligating Clips

Lifehealthcare Pty Ltd

LH417	SLS Ligating Clip (Pouch)	SLS-Clip Titanium Haemostatic Clip	Small pouch of 4 cartridges/ 120 clips; 	$42.00

Medium pouch of 4 cartridges/120 clips

LH418	SLS Ligating Clip (Cartridge)	SLS-Clip Titanium Haemostatic Clip	Micro cartridges of 6 clips; Small cartridges of	$12.00

6 clips; Small/Medium cartridges of 6 clips;

Medium cartridges of 6 clips; Medium/Large

cartridges of 6 clips; Large cartridges of 6 clips

LH425	Frankenman Linear Cutter Stapler	Single use, reloadable, linear cutter stapler containing 	61mm; 81mm; 100mm	$470.00

titanium staples

LH426	Frankenman Linear Stapler Reloads	Linear stapler single use reload with titanium staples	32mm; 46mm; 60mm; 90mm	$240.00

Prostheses List by Category, Groups and Sponsor	Page 97 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH427	Frankenman Linear Cutter Reloads	Single use, linear cutter reload cartridge containing titanium 	61mm; 81mm; 100mm	$240.00

staples

LH428	Frankenman Linear Stapler	Linear stapler preloaded with titanium staples	32mm; 46mm; 60mm; 90mm	$320.00

3.8.2.1 Ligating Clips with disposable applier

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS006	Ligation Clips - Disposable clip applier and ligating clips	Surgiclip	Small	$222.00	Temporary Approval

AS011	GIA*, ILA* Staplers	Titanium	75mm (3.8mm, 4.8mm)	$250.00	$294.00	Temporary Approval

AS018	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable Surgical Stapler and 	DST TA60-3.5; DST TA60-4.8	$320.00	Temporary Approval

Loading Unit; Titanium staples used for hemostatic closure

of specific organs and blood vessels (ex bowel, stomach

and lung).

AS019	PI*, Stapler	Premium Multifire TA* Disposable Surgical Stapler and 	30mm (2.5, 3.5, 4.8mm)	$250.00	$264.00	Temporary Approval

Loading Unit

AS035	Roticulator*	Roticulator 30	30mm (3.5, 4.8mm)	$680.00	$715.00	Temporary Approval

AS036	Roticulator*	Roticulator 55	55mm (3.5, 4.8mm)	$799.00	Temporary Approval

AS037	ROTICULATOR*	Polysorb 55 Disposable Loading Unit	55mm (3.5, 4.8mm)	$680.00	$715.00	Temporary Approval

AS045	STAT TACK* and Endoscopic Tacker Device; 	Endoscopic TACKER*; Titanium; Titanium Surgical 	20 tacks; 30 tacks; 5mm; 4mm, 4.8mm (10 	$435.00	Temporary Approval

PROTACK* Hernia Stapling Product; ENDO 	Stapler.	staples).

UNIVERSAL*

AS072	Staples and Disposable Stapler Applier and staples; 	Titanium, curved, PPCEEA*; Titanium Surgical Stapler.	21-34mm; 21, 25, 28, 31, 34mm.	$780.00	Temporary Approval

PPCEEA*.

AS073	ENDOCLIP*; Acuclip Single use Endoscopic Multiple 	Titanium Surgical Stapler	5mm (12 clips); One size only.	$435.00	Temporary Approval

Clip Applier.

AS074	ENDOCLIP*	Titanium Surgical Stapler	10mm (ML, M, L)-(20 clips)	$435.00	Temporary Approval

AS075	ENDO TA*	Titanium Surgical Stapler	30mm	$435.00	$606.00	Temporary Approval

AS077	ENDO GIA*	Titanium Surgical Stapler	30 - 35mm	$435.00	$615.00	Temporary Approval

AS094	GIA*, ILA* Staplers	Titanium	80mm (3.8mm, 4.8mm)	$452.00	Temporary Approval.  * Trademark of United

States Surgical Corporation

AS095	STAT TACK*  and Endoscopic Tacker Device	STAT TACK*	One size only	$250.00	Temporary Approval

Prostheses List by Category, Groups and Sponsor	Page 98 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AS110	DFS Disposable Fascia Stapler	Stainless Steel	One Size Only	$250.00	Temporary Approval

AS113	DST Series* GIA* Linear Cutter Stapler and single use 	single use, reloadable stapler	60mm length: sizes 2.5mm, 3.8mm, 4.8mm	$320.00	$354.00	Temporary approval, pending review of

loading units	product group

AS115	DST Series* GIA* Linear Cutter Stapler and single use 	Single use, reloadable stapler	80mm length; Sizes 3.8 and 4.8mm	$470.00	Temporary approval, pending review of

loading units	product group

AS119	DST Series* EEA* Circular Stapler	Circular staplers	21mm to 33mm	$780.00	$820.00	Temporary approval, pending review of

product group

AS131	Ligation Clips - Disposable clip applier and ligating clips	Surgiclip	Medium	$250.00

AS132	Ligation Clips - Disposable clip applier and ligating clips	Surgiclip	Large	$285.00

AS133	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable Surgical Stapler and 	30mm (2.5, 3.5, 4.8mm);  DST TA45-3.5;  	$320.00	$370.00

Loading Unit; Titanium staples used for hemostatic closure 	DST TA45-4.8;  DST TA30-3.5;  DST

of specific organs and blood vessels (ex bowel, stomach 	TA30-4.8;  DST TA30V3.

and lung).

ConMed Linvatec Australia Pty Ltd

LV076	Richard Allan Endoscopic Accessories	Titanium endoscopic clips with applier	Medium-Large, 9mm closed. 20 clips	$258.00	Temporary Approval

LV086	Reflex 5mm Automatic Clip Applier	Autofeeding disposable clip applier. Contains 15 non 	medium/large	$328.00	Temporary Approval, pending review of

absorbable polymer locking clips	product group

Johnson & Johnson Medical Pty Ltd

JJ037	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium clips	3-12 mm; 20 clips per applier	$250.00	$255.00	Temporary Approval

JJ038	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium clips	3-12 mm; 30 clips per applier	$300.00	Temporary Approval

JJ039	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium clips; 	5; 20 clips per applier	$250.00	Temporary Approval

reloadable

JJ041	Proximate* Intraluminal Stapler	Metal/plastic circular straight stapler preloaded with 	21 - 33 mm	$780.00	Temporary Approval

titanium staples

JJ042	Proximate* Intraluminal Stapler	Metal/plastic circular curved stapler preloaded with titanium	21 - 33mm	$780.00	$799.00	Temporary Approval

staples

JJ043	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with titanium staples	50 - 60mm	$364.00	Temporary Approval

JJ044	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with titanium staples	75 - 80mm	$470.00	$488.00	Temporary Approval

Prostheses List by Category, Groups and Sponsor	Page 99 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ045	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with titanium staples	100mm	$470.00	$560.00	Temporary Approval

JJ049	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium staples	30mm	$320.00	$380.00	Temporary Approval

JJ050	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium staples, 	55 - 60mm	$320.00	$400.00	Temporary Approval

manual closure

JJ051	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium staples, 	55 - 60mm	$320.00	$400.00	Temporary Approval

automatic closure

JJ052	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium staples	90mm	$320.00	$420.00	Temporary Approval

JJ056	Proximate Articulating Linear Stapler	Articulating linear stapler preloaded with titanium staples	55mm	$799.00	$863.00	Temporary Approval

JJ184	Endopath Multi Stapler	Endoscopic titanium stapler with staples	11mm shaft diameter	$470.00	$550.00	Temporary Approval

JJ186	Ligaclip Endoscopic Multiclip Applier	Metal/plastic stapler with titanium clips	10-12 mm shaft diameter, medium to large clip	$470.00	Temporary Approval

JJ187	Ligaclip Allport 5mm Clip Applier	Metal/plastic stapler with titanium clips	5mm shaft diameter	$320.00	$414.00	Temporary Approval

JJ188	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium staples	45mm; short shaft	$435.00	$712.00	Temporary Approval

JJ189	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium staples	45mm; long shaft	$435.00	$770.00	Temporary Approval

JJ191	Endopath Linear Cutter	Metal/plastic cutter-stapler with titanium staples	35mm	$435.00	$696.00	Temporary Approval

JJ443	Proximate Intraluminal Stapler PPH	Proximate Hemorrhoidal Circular Stapler PPH	One Size Only	$725.00	$754.00

JJ474	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40	30mm &, 40mm	$470.00	$642.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ482	LIGAMAX 5mm Endoscopic Clip Applier	LIGAMAX 5mm Endoscopic Clip Applier	Medium / Large	$412.00	$428.00

JJ564	Echelon Endocutter Reload	Echelon Endocutter Reload	60 and 45mm	$244.00

Lifehealthcare Pty Ltd

LH415	Frankenman Circular Stapler	Curved intraluminal stapler preloaded with titanium staplers.	21mm; 25mm; 28mm; 32mm	$780.00

LH416	Frankenman Haemorrhoidal (CPH) Stapler	Circular stapler for rectal prolapse and haemorrhoids 	Outside diameter: 32.5mm; 34.5mm	$725.00

preloaded with titanium staples

Prostheses List by Category, Groups and Sponsor	Page 100 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

N Stenning  & Co Pty  Ltd

NG023	Hemoclip Plus 	Ligation System Small and Medium	15 small preloaded clips and 20 medium 	$250.00	Temporary Approval

preloaded clips

NG042	Weck Hem-o-lok	Hem-o-lok Automatic Open Applier	15 Clips per applier	$230.00	Temporary approval

NG043	Weck Hem-o-lok	Hem-o-lok Automatic Endo Applier	15 Clips per applier	$309.00	Temporary approval

Olympus Australia

OL009	Rotatable Clip fixing device	Endoscopic Mechanical	Standard or long clip length, 9 or 11mm jaw 	$145.00

opening

OL010	Ligation device	Disposable pre-assembled applier and ligating loop	Sheath Length 1650-2300mm	$145.00

Sole Health Care Products Pty Ltd

PS001	Linear Stapler	Single use surgical stapler preloaded with titanium staples.	30mm (4.5mm & 3.8mm), 45mm (4.5mm & 	$320.00

3.8mm), 60mm (4.5mm & 3.8mm), 75mm

(4.5mm & 3.8mm) and 90mm (4.5mm &

3.8mm)

PS003	Hemorrhoid Stapler	Surgical Hemorrhoidal Circular Stapler with staple leg 	32mm (3.8mm), 34mm (3.8mm & 4.5mm), 	$680.00

lengths specifically designed to perform Stapled 	36mm (4.0mm & 4.5mm)

Hemorrhoidectomies and Stapled Transanal Rectal

Resection (S.T.A.R.R) procedures.

PS004	Circular Stapler	Surgical Circular Stapler pre loaded with titanium staples 	21mm (4.2mm), 24mm (4.5mm), 26mm 	$625.00

used to anastomose organs.	(4.5mm), 29mm (4.8mm), 32mm (5.0mm),

and 34mm (5.0mm)

PS005	Linear Cutter	Single use surgical stapler and cutter pre loaded with 	55mm (3.85mm), 55mm (4.5mm), 75mm 	$364.00

titantium staples.	(3.85mm), 75mm (4.5mm), 100mm

(3.85mm), 100mm (4.5mm)

Tag Medical

TM036	ANASTOCLIPS	Anastorclips - Medium, Large and Extra Large	Medium, Large and Extra Large	$450.00

anastomosis

Tag Medical

TM035	ANASTOCLIP (VCS)	VCS - Small	0.9mm	$450.00

Prostheses List by Category, Groups and Sponsor	Page 101 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

endoscopic

Boston Scientific Australia Pty Ltd

BS082	Resolution Clip Device	Pre-loaded endoscopically applied clip, radiopaque 	7Fr, 11mm jaw opening	$145.00

stainless steel & cobalt chrome.

Johnson & Johnson Medical Pty Ltd

JJ568	Echelon Endocutter	Multifire disposable surgical stapling insturment 60mm and 	60mm and 45mm	$435.00	$618.00

45mm

William A Cook Australia Pty Ltd

WC213	Endoscopic Clipping Device	TriClip Endoscopic Clipping Device	7Fr - 3 Prong 12mm, 8Fr - 3 prong 12mm	$145.00

endoscopic, medium

Applied Medical Australia Pty Ltd

MH008	Applied Medical Laparoscopic Clip Applier - 	Disposable Clip Applier made from polycarbonate, nylon, 	Medium - large - 20 clips per device	$200.00	Temporary Approval, pending review of

Disposable Cartridge - CA001 Box of 10	stainless steel, liquid crystal polymer, bone wax, titanium 	product group

clip.  The disposable cartridge is used in conjunction with a

reuseable handle.

3.8.2.2 Ligating clip cartridge without disposable applier

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS001	Endoclip Disposable Loading Unit; MultApplier 	Single use loading unit with 8 titanium clips; Disposable clip 	One size only	$42.00	$69.00	Temporary Approval

Disposable loading unit.	cartridge with 8 titanium clips

AS012	GIA* Reloading Unit 	Titanium. Multifire 60 Cartridge, 90 Premium Disposable 	50-60mm (2.5, 3.8mm)	$240.00	Temporary Approval

Loading Unit with Titanium Staples,  50 Premium

Disposable Loading Unit with Titanium Staples, Inverted

Linear Anastomosis Cartridges 3944, 3943, 3978, 3946,

3945, 3976, 3977

AS013	ILA* 52 Reloading Unit	Titanium. Multifire 60 Cartridge 90 Premium Disposable 	50 - 60mm (2.5mm, 3.8mm)	$160.00	Temporary Approval

Loading Unit with Titanium Staples,  50 Premium

Disposable Loading Unit with Titanium Staple,  Inverted

Linear Anastomosis Cartridges 3944, 3943, 3978, 3946,

3945, 3976, 3977

AS016	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge,  Inverted Linear 	90mm (3.8, 4.8mm)	$400.00	$503.00	Temporary Approval

Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945,

3976, 3977

Prostheses List by Category, Groups and Sponsor	Page 102 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AS017	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge, Inverted Linear 	100mm (3.8,4.8mm)	$400.00	Temporary Approval

Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945,

3976, 3977

AS025	TA* Reloading Units; DST Series* Linear Stapler 	Premium Multifire TA* Disposable Surgical Stapler and 	30mm (2.5, 3.5, 4.8mm); DST TA90-3.5 	$245.00	Temporary Approval

Disposable Loading Units	Loading Unit; Titanium staples used for hemostatic closure 	DLU; DST TA90-4.8 DLU; DST TA45-3.5

of specific organs and blood vessels (ex bowel, stomach 	DLU; DST TA45-4.8 DLU; DST TA60-3.5

and lung)	DLU; DST TA60-4.8 DLU; DST TA30-3.5

DLU; DST TA30-4.8 DLU; DST TA30V3

DLU.

AS026	PI*, Reloading Unit	Premium Multifire TA* Disposable Surgical Stapler and 	30mm (2.5, 3.5, 4.8mm)	$160.00	Temporary Approval

Loading Unit

AS033	Power Stapler and Staples (Powered LDS*)	LDS Instrument & Cartridges (Disposable Loading Unit)	One size only	$355.00	Temporary Approval

AS076	ENDO TA* reloading unit	Titanium Surgical Stapler DLU	30mm -2.5, 30mm-3.5	$200.00	Temporary Approval

AS081	ENDO GIA* reloading unit	Titanium Surgical Stapler DLU	30 - 35mm; 45mm; 60mm.	$250.00	Temporary Approval

AS091	VERSA TACK* stapler	Titanium Surgical Stapler	4, 4.8mm (10 staples)	$272.00	Temporary Approval

AS092	ENDO - Herna reloading unit; VERSA TACK* 	Titanium Surgical Stapler DLU	4mm, 4.8mm (10 staples).	$160.00	Temporary Approval

reloading unit.

AS102	DST Series* Linear Staplers	Titanium staples used for hemostatic closure of specific 	DST TA90-3.5; DST TA90-4.8	$355.00	$398.00	Temporary approval

organs and blod vessels (ex bowel, stomach and lung)

AS114	DST Series* GIA* Linear Cutter Stapler and single use 	Single Use Loading Units	60mm length: Sizes 2.5mm, 3.8mm, 4.8mm	$240.00	Temporary approval, pending review of

loading units	product group

AS116	DST Series* GIA* Linear Cutter Stapler and single use 	Single Use Loading Units	80mm length: Sizes 3.8 and 4.8mm	$355.00	$367.00	Temporary approval, pending review of

loading units	product group

AS117	DST Series* GIA* Linear Cutter Stapler and single use 	Single use, reloadable stapler	100mm length: Sizes 3.8 and 4.8mm	$460.00	Temporary approval, pending review of

loading units	product group

AS118	DST Series* GIA* Linear Cutter Stapler and single use 	Single use loading units	100mm length: Size 3.8 and 4.8mm	$335.00	Temporary approval, pending review of

loading units	product group

C. R. Kennedy

CK004	System: Microline Pentax Reposable "Gemini-L Clip 	Disposable cartidge, containing 18 large surgical grade 	Large clip - 10mm clip applier	$150.00

Applier"	titanium clips delivered using a re-usable hand piece applier

Johnson & Johnson Medical Pty Ltd

JJ033	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	3-5mm; 6 clips per cartridge	$12.00	Temporary Approval

Prostheses List by Category, Groups and Sponsor	Page 103 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ034	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	9-12 mm; 6 clips per cartage	$12.00	$17.00	Temporary Approval

JJ035	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	3-5 mm; 20 clips per cartridge	$25.00	$32.00	Temporary Approval

JJ040	Ligaclip* 20/20 Reload Unit	Metal reload cartridge containing titanium clips	5 mm; 20 clips	$25.00	$104.00	Temporary Approval

JJ046	Proximate* Linear Cutter  Staple Reload Unit 	Plastic linear cutter reload cartridge containing titanium 	50 - 60mm	$242.00	Temporary Approval

staples

JJ047	Proximate* Linear Cutter  Staple Reload Unit 	Plastic linear cutter reload cartridge containing titanium 	75 - 80mm	$335.00	$341.00	Temporary Approval

staples

JJ048	Proximate* Linear Cutter Staple Reload Unit	Plastic linear cutter reload cartridge containing titanium 	100mm	$335.00	$348.00	Temporary Approval

staples

JJ053	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing titanium 	30mm	$240.00	Temporary Approval

staples

JJ054	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing titanium 	55 - 60mm	$240.00	Temporary Approval

staples

JJ055	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing titanium 	90mm	$240.00	$257.00	Temporary Approval

staples

JJ190	Endopath ETS Linear Cutter reload	Titanium staple cartridge	45mm	$250.00	Temporary Approval

JJ192	Endopath ETS Linear Cutter reload	Titanium staple cartridge	35mm	$250.00	Temporary Approval

JJ475	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40mm reload 	Blue (3.85mm) & Green (4.5mm)	$240.00	$263.00	Only to be funded where used in a service for

cartridges	which a Medicare Benefit is payable

LMT Surgical Pty Ltd

LM042	Synovis Microclip	Malleable titanium clip	One size only	$25.00	Temporary approval, pending review of

product group

N Stenning  & Co Pty  Ltd

NG006	Horizon Ligating Clips  	Ligation Clips Titanium 	Small (6 per cartridge)  	$12.00	Temporary Approval

NG007	Horizon Ligating Clips  	Ligation Clips Titanium 	Small  (24 per cartridge)	$42.00	Temporary Approval

NG008	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium (6 per cartridge), Micro (6 per 	$12.00	Temporary Approval

cartridge)

NG009	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium  (24 per cartridge)	$42.00	Temporary Approval

NG010	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (6 per cartridge)	$12.00	$18.00	Temporary Approval

NG011	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (24 per cartridge)	$42.00	$47.00	Temporary Approval

NG012	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (6 per cartridge)	$12.00	$22.00	Temporary Approval

Prostheses List by Category, Groups and Sponsor	Page 104 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NG013	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (24 per cartridge)	$43.00	$57.00	Temporary Approval

NG014	Hemoclip 	Titanium Clips	Small, Medium (25 per cartridge); Large (15 	$25.00	$31.00	Temporary Approval

per cartridge)

NG016	Hemoclip 	Titanium Clips	Medium  (10 per cartridge) 	$18.00	Temporary Approval

NG017	Hemoclip 	Titanium Clips	Small (10 per cartridge) 	$18.00	Temporary Approval

NG018	Hemoclip  	Titanium Clips	Med-large (10 per cartridge) 	$18.00	Temporary Approval

NG019	Hemoclip 	Titanium Clips	Large (10 per cartridge) 	$20.00	$21.00	Temporary Approval

NG020	EZLoad Ligating Clips  	Titanium Clip 	Small (25 per cartridge); Med-Large, Large 	$20.00	$27.00	Temporary Approval

(10 per cartridge)

NG021	EZLoad Ligating Clips  	Titanium Clip 	Medium (25 per cartridge) 	$42.00	Temporary Approval

NG022	EZLoad Ligating Clips  	Titanium Clip 	Small, Medium (10 per cartridge) 	$18.00	$34.00	Temporary Approval

NG025	Hem-o-Lok Polymer Non-Absorbable Ligating Clip	Hem-o-lok Medium (M), Medium-Large (ML) and Large 	Small, Medium, Medium-Large, Large	$42.00	$46.00	Temporary Approval

(L) Polymer Clips

NG044	Hem-o-lok Polymer Non-Absorbable Ligating Clip	Hem-o-lok Extra-large (XL) Polymer Clips	Extra-large (XL)	$45.00	$62.00

Olympus Australia

OL001	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 clips	MD-59 - 90 degree, standard; MD-850 - 	$12.00	Temporary Approval

135 degree, standard; HX-600-090 -

standard, sterile; HX-600-135 - standard,

sterile

OL002	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 clips	MH-858 - 90 degree, long. MH-859 - 90 	$12.00	Temporary Approval

degree, short. MAJ-458 - 90 degree, short.

MAJ-459 -135 degree, short.

OL006	Individual Ligating Clip	Ligating Device - loops. Pack of 10 loops.	MAJ-254-30mm loop;  MAJ-339- 13mm 	$18.00	Temporary Approval

loop; MAJ-340 -20 mm loop

Sole Health Care Products Pty Ltd

PS002	Linear Stapler Cartridge	Reloading cartridge containing titanium staples for use with 	30mm (3.8mm & 4.5mm), 45mm (3.8mm & 	$56.00

the Linear Stapler	4.5mm), 60mm (3.8mm & 4.5mm), 75mm

(3.8mm & 4.5mm) and 90mm (3.8mm &

4.5mm)

PS006	Linear Cutter Cartridge	Reloading cartridge containing titanium staples for use with 	55mm (3.85mm & 4.5mm), 75mm (3.85mm 	$160.00

the Linear Cutter.	& 4.5mm) and 100mm (3.85mm & 4.5mm).

Prostheses List by Category, Groups and Sponsor	Page 105 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

bariatric

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS030	TA* Reloading Units	Premium Multifire TA* Disposable Surgical Stapler and 	90mm (3.5mm, 4.8mm)	$724.00	Temporary Approval

Loading Unit

resorbable

Johnson & Johnson Medical Pty Ltd

JJ036	Absolok* Extra Absorbable Ligating Clips 	Polydioxanone clips contained in a plastic cartridge	Small to Extralarge	$90.00	$94.00	Temporary Approval

3.8.2.3 Ligating Clips with disposable applier, open surgical

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS046	Endo GIA* Universal Stapling System; Versafire GIA*.	Multifire 30 disposable stapler with titanium staples; 	12mm; One size only.	$415.00	Temporary Approval

Disposable surgical stapling instruments or cartridges.

ConMed Linvatec Australia Pty Ltd

LV081	Open Clip Applier	Titanium	25 medium size titanium clips	$158.00	Temporary approval

3.8.3 Mesh, soft tissue wound closure, non-metallic

3.8.3.1 Mesh, soft tissue wound closure, non-metallic, polypropylene, polyester

101-150cm

Johnson & Johnson Medical Pty Ltd

JJ565	ULTRAPRO Mesh	Composite Mesh	7.6cm x 15cm	$103.00

3.8.3.1.1  0-100scm  polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC009	Atrium polypropolene mesh - surgical mesh	Polypropolene - Pre-shaped with hole	6.5 x 12.5cm	$77.00	$200.00

AC010	Atrium polypropolene mesh - surgical mesh	Polypropolene	5 x 10cm	$77.00	$82.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS055	Mesh Polyproplene; Monofilament Polyproplylene.	Multifilament Polypropylene; Monofilament Polypropylene.	7.6cm x 12.7cm Surgipro* mesh (3 x 5 inch)	$77.00	* Trademark of United States Surgical

Corporation

AS057	Mesh Polyproplene; Monofilament Polyproplylene.	Multifilament Polypropylene; Monofilament Polypropylene.	2.5cm x 10.2cm Surgipro* mesh (1 x 4 inch)	$77.00	* Trademark of United States Surgical

Corporation

Prostheses List by Category, Groups and Sponsor	Page 106 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AS174	Parietene-Monofiliment Polypropylene Mesh	Parietene-Monofiliment Polypropylene standard mesh/light 	6 x 11cm, 15 x 10, 15 x 15cm	$77.00

mesh

B Braun Australia Pty Ltd

BB088	Premilene Mesh	Polypropylene	3x10cm	$77.00

BB089	Premilene Mesh	Polypropylene	4.5x10cm	$77.00

BB090	Premilene Mesh	Polypropylene	4.5x10cm	$77.00

BB091	Premilene Mesh	Polypropylene	4.5x10cm	$77.00

BB093	Premilene Mesh	Polypropylene	6x14cm	$77.00

BB094	Premilene Mesh	Polypropylene	6x13.5cm	$77.00

BB095	Premilene Mesh	Polypropylene	7.5x7.5cm	$77.00

BB096	Premilene Mesh	Polypropylene	4.5x105cm	$77.00

BB098	Premilene Mesh	Polypropylene	10x10cm	$77.00

BB099	Premilene Mesh	Polypropylene	6x14cm	$77.00

BB183	OPTILENE MESH	Polypropylene Mesh	7.5x7.5cm, 5 pieces	$77.00

BB186	OPTILENE MESH	Polypropylene Mesh	5 x 10cm, 5 pieces	$77.00

BB188	OPTILENE MESH	Polypropylene Mesh	4.5x10cm, 5 pieces	$77.00

BB190	OPTILENE MESH	Polypropylene Mesh	4.5x10cm	$77.00

BB191	OPTILENE MESH	Polypropylene Mesh	6x14cm, 5 pieces	$77.00

Bard Australia Pty Ltd

BA070	Bard Mesh  	Flat mesh	Small - 1" x 4" / 2" x 4" / 2" x 12" / 3 " x 6" / 	$77.00

Pre-shaped 1.8" x 4" / Pre-shaped 2.4" x 5.4"

EMT Healthcare Pty Ltd

EM023	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic 	2.3 x 10cm	$77.00

and open surgical approaches

EM024	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic 	5 x 10cm	$77.00

and open surgical approaches

Jecoli Pty Ltd

JO006	Herniamesh Polypropylene Mesh	Hertra Polypropylene Mesh 	4.5cm x 10cm	$77.00	$178.00

Johnson & Johnson Medical Pty Ltd

JJ174	Prolene Mesh 	Small polypropylene monofilament non absorbable mesh	2.5cm x 10cm	$77.00	$80.00

Prostheses List by Category, Groups and Sponsor	Page 107 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ177	Prolene Mesh	Small keyhole polypropylene monofilament non absorbable 	4.6cm x 10.2cm	$77.00	$165.00

mesh

JJ178	Prolene Mesh	Large keyhole polypropylene monofilament non absorbable	6cm  x 13.7cm	$77.00	$120.00

mesh

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG001	Aspide Surgimesh	Monofilament polypropylene	6x11cm thread 0.14mm 	$77.00

MG004	Aspide Surgimesh	Monofilament polypropylene	8 x 12cm Thread 0.14mm	$77.00

MG008	Aspide Surgimesh	Monofilament polypropylene	Easyplug Large	$77.00	$130.00

MG009	Aspide Surgimesh	Monofilament polypropylene	Easyplug Medium	$77.00	$130.00

MG010	Aspide Surgimesh	Monofilament polypropylene	Easyplug Small	$77.00	$130.00

3DC

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS124	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene mesh Plug and Patch	06 x 12 cm	$263.00

AS130	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh Plug	6 cm, 8 cm	$263.00

AS167	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh Three-	13 x 09 cms, 14 x 09 cms	$205.00

dimensional/Ease Grip, with Slit

Bard Australia Pty Ltd

BA061	Bard Mesh 	PerFix Plug	Small, Medium, Large	$263.00

BA071	Bard Mesh  	3D Mesh 	Large Left	$263.00

BA072	Bard Mesh  	3D Mesh 	Medium Left	$263.00

BA073	Bard Mesh  	3D Mesh 	Large Right	$263.00

BA074	Bard Mesh  	3D Mesh 	Medium Right	$263.00

Johnson & Johnson Medical Pty Ltd

JJ180	Prolene Hernia System	BI-LAYER POLYPROPYLENE NON ABSORBABLE	MEDIUM TO EXTENDED	$263.00	$268.00

JJ413	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat mesh 	5.49cm x 12.50cm 3DPatch large with 	$263.00	$280.00

onlay patch secured to a formed expandable diamond-	preshaped overlay

shaped mesh patch component.

JJ414	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat mesh 	5.49cm x 12.50cm 3D Patch with medium 	$263.00	$280.00

onlay patch secured to a formed expandable diamond-	preshaped overlay

shaped mesh patch component.

Prostheses List by Category, Groups and Sponsor	Page 108 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ415	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat mesh 	5.49cm x 12.50cm 3D Patch medium with 	$263.00	$280.00

onlay patch secured to a formed expandable diamond-	extended overlay

shaped mesh patch component.

JJ416	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat mesh 	5.49cm x 12.50cm 3D Patch large with 	$263.00	$280.00

onlay patch secured to a formed expandable diamond-	extended overlay

shaped mesh patch component.

3DC, L

Atrium Australia - Pacific Rim Pty Limited

AC011	Atrium polypropolene mesh - surgical mesh	Polypropolene mesh plug	Small, Medium, Large and Extra Large	$350.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS068	Surgipro Non Absorbable Polypropylene Hernia Mate 	Polypropylene	Medium and Large	$69.00

Plug System

Bard Australia Pty Ltd

BA083	Bard Mesh  	Kugel Patch	Small Oval 8 x 12cm	$350.00

BA085	Bard Mesh  	Kugel Patch	Small Circle 8 x 8cm	$350.00

BA132	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a self-expanding,	7.5 cm (3") diameter	$350.00

non-absorbable, sterile prosthesis.  It consists of two

layers of monofilament, polypropylene mesh; an extruded

monofilament PET polymer "ring" provides memory, adds

stability to the device.  The p

BA133	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a self-expanding,	10 cm (4") diameter	$350.00

non-absorbable, sterile prosthesis.  It consists of two

layers of monofilament, polypropylene mesh; an extruded

monofilament PET polymer "ring" provides memory, adds

stability to the device.  The p

Prostheses List by Category, Groups and Sponsor	Page 109 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA134	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a self-expanding,	11.5 cm (4.5") diameter	$350.00

non-absorbable, sterile prosthesis.  It consists of two

layers of monofilament, polypropylene mesh; an extruded

monofilament PET polymer "ring" provides memory, adds

stability to the device.  The p

L

B Braun Australia Pty Ltd

BB104	Premilene Mesh	Self Forming Plug	All sizes, small, medium, large	$226.00

BB192	Premilene Mesh	Premilene Nonabsorbable Polypropylene Surgical Suture 	Self-Forming Plug-Small, 5 pieces	$226.00

Material Low Profile.

BB193	Premilene Mesh	Premilene Nonabsorbable Polypropylene Surgical Suture 	Self-Forming Plug-Medium, 5 pieces	$226.00

Material Low Profile.

BB195	OPTILENE MESH	Polypropylene Mesh	Self-Forming Plug-Large, 5 pieces	$226.00

3.8.3.1.2  101-200scm polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC005	Atrium polypropolene mesh - surgical mesh	Polypropolene	7.5 x 15cm	$85.00	$120.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS168	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Folding 	14x10cms	$85.00	$205.00

Mesh/Bidimensional with integrated folding system with slit

AS172	Mesh Polyproplene; Monofilament Polyproplylene; 	Multifilament Polypropylene; Monofilament Polypropylene; 	15.3cm x 15.3cm Surgipro* mesh (6 x 6 	$85.00	* Trademark of United States Surgical

SURGIPRO* Non Absorbable Monofilament 	SURGIPRO, Non-Asborbable Polypropylene 	inch); SPMM46: 10.2cm x 15.3cm (4 x 6 	Corporation

Polypropylene Mesh	Monofilament Mesh.	inch).

AS175	Parietene-Monofiliment Polypropylene Mesh	Parietene-Monofiliment Polypropylene standard mesh/light 	15 x 10cm	$85.00

mesh

B Braun Australia Pty Ltd

BB092	Premilene Mesh	Polypropylene	5x30cm	$85.00

BB097	Premilene Mesh	Polypropylene	7.5x15cm	$85.00

BB100	Premilene Mesh	Polypropylene	10x15cm	$85.00

BB181	OPTILENE MESH	Polypropylene Mesh	5x30cm, 5 pieces	$85.00

BB187	OPTILENE MESH	Polypropylene Mesh	10 x 15cm, 5 pieces	$85.00

Prostheses List by Category, Groups and Sponsor	Page 110 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB189	OPTILENE MESH	 Polypropylene Mesh.	7.5 x 15cm, 5 pieces	$85.00

Bard Australia Pty Ltd

BA062	Bard Mesh  	Visilex Laparoscopic mesh	3 x 6" & 4.5 x 6"	$85.00

EMT Healthcare Pty Ltd

EM021	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic 	8 x 13cm	$85.00

and open surgical approaches

EM025	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic 	7 x 15cm, 10 x 15cm	$85.00

and open surgical approaches

Johnson & Johnson Medical Pty Ltd

JJ175	Prolene Mesh	Medium polypropylene monofilament non absorbable mesh	7.6cm x 15cm	$85.00

JJ566	PROLENE Mesh	Polypropylene Mesh	10 x 15cm	$85.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG005	Aspide Surgimesh	Monofilament polypropylene	10 x 13cm Thread 0.14mm	$85.00	$120.00

MG006	Aspide Surgimesh	Monofilament polypropylene	10 x 15cm Thread 0.14mm	$85.00	$120.00

3DC

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS128	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Anatomical Mesh 	13 x 09 cm, 15 x 10 cm, 16 x 12cm	$205.00

Standard / With Slit and Folding / With Slit and No Touch

System

AS164	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard 	13 x 09 cms, 15 x 10 cms	$205.00

Mesh/Bidimensional rigid, Three dimensional

AS166	Parietex Multifilament PolyesterMesh	Parietex-Multifilament Polyester Preshaped Mesh Three-	12 x 08 cms	$263.00

dimensional/Ease Grip, with Slit

AS169	Parietex Multifilament Polyester Mesh Anatomical	Parietex-Multifilament Polyester Anatomical 	14x10cms	$205.00

Mesh/Bidimensional/Three dimensional with integreated

folding system.

3DC, L

Bard Australia Pty Ltd

BA086	Bard Mesh  	Kugel Patch	Large Circle 12 x 12cm	$460.00

BA087	Bard Mesh  	Kugel Patch	Medium Oval 11 x 14cm	$460.00

Prostheses List by Category, Groups and Sponsor	Page 111 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

L

B Braun Australia Pty Ltd

BB194	Premilene Mesh	Premilene Nonabsorbable Polypropylene Surgical Suture 	Self-Forming Plug-Large, 5 pieces	$250.00

Material Low Profile.

3.8.3.1.3  201-300scm polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC007	Atrium polypropolene mesh - surgical mesh	Polypropolene	15cm x 15cm	$85.00	$140.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS173	Mesh Polyproplene; Monofilament Polyproplylene; 	Multifilament Polypropylene; Monofilament Polypropylene; 	15.3cm x 15.3cm Surgipro* mesh (6 x 6 inch)	$85.00	* Trademark of United States Surgical

SURGIPRO* Non Absorbable Monofilament 	SURGIPRO, Non-Asborbable Polypropylene 	Corporation

Polypropylene Mesh	Monofilament Mesh.

AS176	Parietene-Monofilament Polypropylene Mesh	Parietene-Monofilament Polypropylene standard mesh/light 	15 x 15cm	$85.00

mesh

B Braun Australia Pty Ltd

BB101	Premilene Mesh	Polypropylene	15x15cm	$85.00

BB184	OPTILENE MESH	Polypropylene Mesh	15x15cm, 5 pieces	$85.00

Bard Australia Pty Ltd

BA157	Bard Mesh	Flat Mesh	Medium - 6" x 6"	$85.00

EMT Healthcare Pty Ltd

EM015	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with 15cm x 15cm mesh	EMT-KIT2BT2PMX2 (bilateral)	$85.00

EM016	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with 15cm x 15cm mesh	EMT -KIT2NM (Unilateral)	$85.00

EM022	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic 	15 x 15cm	$85.00

and open surgical approaches

Johnson & Johnson Medical Pty Ltd

JJ222	Prolene Mesh - medium	Constructed of knitted filaments of extruded polypropylene 	Medium - 6" x 6"	$85.00	$120.00

identical to that used in Prolene suture.  Material is approx.

0.027mm thick.  Non-absorbable mesh for tension free-

inguinal hernia techniques.

Prostheses List by Category, Groups and Sponsor	Page 112 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG007	Aspide Surgimesh	Monofilament polypropylene	15 x 15cm Thread 0.14mm	$85.00

3DC

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS165	Parietex Multifilament Polyester Mesh Anatomical	Parietex-Multifilament Polyester Standard 	15 x 15 cms	$300.00

Mesh/Bidimensional Rigid, Three dimensional

Bard Australia Pty Ltd

BA138	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile prosthesis constructed 	Extra Large Left 5" x 7"	$300.00

of monofilament polypropylene mesh. 3DMax mesh is a

three-dimensional, anatomically formed prosthesis for use in

laparoscopic hernia repair.

BA139	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile prosthesis constructed 	Extra Large Right 5" x 7"	$300.00

of monofilament polypropylene mesh. 3DMax mesh is a

three-dimensional, anatomically formed prosthesis for use in

laparoscopic hernia repair.

3DC, L

Bard Australia Pty Ltd

BA084	Bard Mesh  	Kugel Patch	Large Oval 14 x 18cm	$555.00

3.8.3.1.4  301-400scm polypropylene, polyester

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS122	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene standard mesh / 	20 x 20 cm	$229.00

light mesh

AS170	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/Bi-	20 x 20cm	$229.00

dimensional, Bi-dimensional Rigid, Three dimensional

3.8.3.1.6  501-600scm polypropylene, polyester

B Braun Australia Pty Ltd

BB182	OPTILENE MESH	Polypropylene Mesh	20x30cm, 5 pieces	$229.00

Prostheses List by Category, Groups and Sponsor	Page 113 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.3.1.7  >600scm polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC006	Atrium polypropolene mesh - surgical mesh	Polypropolene	30 x 30cm	$229.00

AC008	Atrium polypropolene mesh - surgical mesh	Polypropolene	26 x 36cm	$229.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS056	Mesh Polyproplene; Monofilament Polyproplylene.	Multifilament Polypropylene; Monofilament Polypropylene.	35.6cm x 22.9cm Surgipro* mesh (14 x 9 	$229.00	* Trademark of United States Surgical

inch).	Corporation

AS123	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene standard mesh / 	30 X 30 cm, 30 x 32 cm	$229.00

light mesh/ X-shaped mesh

AS171	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/Bi-	30 x 30cm	$229.00

dimensional, Bi-dimensional Rigid, Three dimensional

B Braun Australia Pty Ltd

BB102	Premilene Mesh	Polypropylene	26x36cm	$229.00

BB103	Premilene Mesh	Polypropylene	30x30cm	$229.00

BB185	OPTILENE MESH	Polypropylene Mesh	30x30cm, 5 pieces	$229.00

Bard Australia Pty Ltd

BA158	Bard Mesh	Flat Mesh	Large - 10" x 14"	$229.00

EMT Healthcare Pty Ltd

EM007	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic 	25 x 36cm; 30 x 30cm	$229.00

and open surgical approaches

Johnson & Johnson Medical Pty Ltd

JJ172	Mersilene Mesh	Non-absorbable polyester mesh	30cm x 30cm	$229.00	$275.00

JJ176	Prolene Mesh	Large polypropylene monofilament non absorbable mesh	30cm x 30cm	$229.00	$275.00

3.8.3.2.1  0-100scm PTFE/ePTFE

Bard Australia Pty Ltd

BA107	Bard Dulex Mesh	Oval Shaped	7.5 x 10 cm, 1mm thickness	$206.00

BA108	Bard Dulex Mesh	Oval Shaped	8 x 12cm, 1mm thickness	$206.00

Prostheses List by Category, Groups and Sponsor	Page 114 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

W L Gore & Associates

GT001	GORE - Seamguard Staple Line Reinforcement Material	1pair of sleeves ePTFE	One Size Only	$206.00	Temporary Approval

GT065	Gore-Tex ePTFE Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 2.5 x 10cm	$206.00

GT066	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 5 x 10cm (Rectangle), 5 x 	$206.00

10cm (Key Hole)

GT067	Gore-Tex Mycro-Mesh	ePTFE	1mm Thickness 5 x 13cm (Configured for 	$206.00

Vaginal Prolapse), 5 x 15cm

GT074	Gore-Tex  Mycro-Mesh Biomaterial	Configured for Inguinal Hernia repair ePTFE	1mm Thickness 6cm x 12cm	$206.00

GT092	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 7.5 x 10cm	$206.00	$313.00

GT093	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 8 x 12cm	$206.00	$403.00

AM

W L Gore & Associates

GT104	Gore-Tex DualMesh PLUS  	ePTFE	1mm Thickness 7.5 x 10cm	$206.00	$390.00

GT201	Dualmesh Plus Biomaterial	ePTFE	8cm x 12cm x 1mm	$206.00	$390.00

L

Bard Australia Pty Ltd

BA160	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side and ePTFE 	7cm x 6cm Small	$350.00

mesh on the other side

BA161	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side and ePTFE 	11cm x 8cm Large	$350.00

mesh on the other side

3.8.3.2.2  101-200scm PTFE/ePTFE

Bard Australia Pty Ltd

BA109	Bard Dulex Mesh	Oval Shaped	10 x 15 cm, 1mm thickness	$310.00

BA114	Bard Dulex Mesh	Oval Shaped	10 x 15 cm, 2 mm thickness	$310.00

W L Gore & Associates

GT071	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 10 x 15cm	$310.00

GT094	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 10 x 15cm	$310.00	$605.00

GT099	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 10 x 15cm	$310.00	$923.00

Prostheses List by Category, Groups and Sponsor	Page 115 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AM

W L Gore & Associates

GT202	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 1mm	$310.00	$633.00

GT206	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 2mm	$310.00	$1,020.00

3.8.3.2.3  201-300scm PTFE/ePTFE

Bard Australia Pty Ltd

BA110	Bard Dulex Mesh	Oval Shaped	15 x 19 cm, 1mm thickness	$420.00

BA115	Bard Dulex Mesh	Oval Shaped	15 x 19 cm, 2 mm thickness	$420.00

W L Gore & Associates

GT072	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 15 x 19cm	$420.00	$881.00

GT095	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 15.0 x 19.0cm	$420.00	$1,040.00

GT100	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 15 x 19cm	$420.00	$1,846.00

AM

W L Gore & Associates

GT107	Gore-Tex DualMesh PLUS  	ePTFE	15.0 x 19.0cm x 1mm Oval	$420.00	$1,167.00

GT207	Dualmesh Plus Biomaterial	ePTFE, oval	15cm x 19cm x 2mm	$420.00	$2,029.00

3.8.3.2.5  401-500scm PTFE/ePTFE

Bard Australia Pty Ltd

BA111	Bard Dulex Mesh	Oval Shaped	18 x 24 cm, 1mm thickness	$655.00

BA116	Bard Dulex Mesh	Oval Shaped	18 x 24 cm, 2 mm thickness	$655.00

W L Gore & Associates

GT068	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 18 x 24cm	$655.00	$1,288.00

GT096	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 18 x 24cm	$655.00	$1,622.00

GT101	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 18 x 24cm	$655.00	$2,430.00

AM

W L Gore & Associates

GT203	Dualmesh Plus Biomaterial	ePTFE	18cm x 24cm x 1mm	$655.00	$1,823.00

GT208	Dualmesh Plus Biomaterial	ePTFE,	18cm x 24cm x 2mm	$655.00	$2,952.00

Prostheses List by Category, Groups and Sponsor	Page 116 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.3.2.6  501-600scm PTFE/ePTFE

Bard Australia Pty Ltd

BA112	Bard Dulex Mesh	Oval Shaped	20 x 30cm, 1mm thickness	$755.00

BA117	Bard Dulex Mesh	Oval Shaped	20 x 30 cm, 2 mm thickness	$755.00

W L Gore & Associates

GT069	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 20 x 30cm	$755.00	$1,777.00

GT097	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 20 x 30cm	$755.00	$2,271.00

GT102	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 20 x 30cm	$755.00	$3,400.00

AM

W L Gore & Associates

GT084	Gore-Tex MycroMesh Plus 	ePTFE	1mm Thickness 20cm x 30	$755.00	$1,926.00

GT204	Dualmesh Plus Biomaterial	ePTFE	20cm x 30cm x 1mm	$755.00	$2,544.00

GT209	Dualmesh Plus Biomaterial	ePTFE,	20cm x 30cm x 2mm	$755.00	$3,986.00

3.8.3.2.7  >600scm PTFE/ePTFE

Bard Australia Pty Ltd

BA113	Bard Dulex Mesh	Oval Shaped	26 x 34 cm, 1mm thickness	$855.00

BA118	Bard Dulex Mesh	Oval Shaped	26 x 34 cm, 2 mm thickness	$855.00

W L Gore & Associates

GT070	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 26 x 34cm	$855.00	$2,333.00

GT098	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 26 x 34cm	$855.00	$2,960.00

GT103	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 26 x 34cm	$855.00	$4,440.00

AM

W L Gore & Associates

GT087	Gore-Tex MycroMesh Plus 	ePTFE	1mm thickness Oval 26 x 34cm	$855.00	$2,536.00

GT205	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 1mm	$855.00	$3,373.00

GT210	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 2mm	$855.00	$5,192.00

Prostheses List by Category, Groups and Sponsor	Page 117 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.3.3.1  0-100scm Absorbable

3DC, CB

William A Cook Australia Pty Ltd

WC243	Surgisis Biodesign Anal Fistula Plug	Surgisis Biodesign Anal Fistula Plug is a small intestine 	0.6cm Width Tapering to 0.2cm Width x 	$1,000.00

submucosal porcine derived, rolled and shaped collagen 	9.5cm Length. Conical Shape

matrix, non cross-linked, that signals the body and provides

support for native tissue remodeling, healing and closure of

anal fistulas

3.8.3.3.2  101-200scm Absorbable

CB, L

William A Cook Australia Pty Ltd

WC266	Surgisis Biodesign Inguinal Hernia Graft	Surgisis Biodesign Inguinal Hernia Graft is a biologically 	8cm Width tapering to pre-shaped bullet 	$348.00	$860.00

derived ([porcine] collagen matrix, non cross-linked and 	design one end x 15cm Length.

sterile graft material, that provides support for damaged

tissues and assists in host tissue regenration and remodelling

of inguinal region defects.

CB,L

William A Cook Australia Pty Ltd

WC242	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated 	13cm x 15cm 8-Layer Perforated Tissue 	$696.00	$1,600.00

layers of processed small intestine submucosal porcine 	Graft

derived collagen matrix, freeze dried, corrugated and non

cross-linked material, that signals surrounding tissues to

restore and remodel, while

WC244	Sugisis Biodesign 8-layer Tissue Graft	8 layers of processed small intestine submucosal porcine 	13cm x 15cm; 13cm z 22cm; 20cm x 20cm	$696.00	$1,400.00

derived collagen matrix, vacuum pressed and non

crosslinked material that sugnals surrounding tissues to

restore and remodel while providing extra strength and

support to weakened areas.

WC265	Surgisis Biodesign Inguinal Hernia Graft	Surgisis Biodesign Inguinal Hernia Graft is a biologically 	10cm Width x 15cm Length.	$348.00	$950.00

derived ([porcine] collagen matrix, non cross-linked and

sterile graft material, that provides support for damaged

tissues and assists in host tissue regenration and remodelling

of inguinal region defects.

Prostheses List by Category, Groups and Sponsor	Page 118 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.3.3.3  201-300scm Absorbable

Johnson & Johnson Medical Pty Ltd

JJ173	VICRYL Mesh	Polyglactin 910 - synthetic absorbable mesh.	15cm x 15cm	$87.00	$128.00

CB,L

William A Cook Australia Pty Ltd

WC247	Surgisis Biodesign 8-Layer Tissue Graft	Surgisis Biodesign 8-Layer Tissue Graft is 8 Layers  of 	13cm x 22cm 8 Layer Perforated Tissue Graft	$696.00	$2,100.00

processed small intestine submucosal porcine derived

collagen matrix, vacumm pressed and non cross - linked

material, that signals surrounding tissues to restore and

remodel while providing extra str

WC249	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated 	13cm x 22cm 8- Layer Perforated and 	$696.00	$2,400.00

layers of processed small intestine submucosal porcine 	Corrugated Tissue Graft

derived collagen matrix, freeze dried, corrugated and non

cross-linked material, that signals surrounding tissues to

restore and remodel, while

3.8.3.3.4  301-400scm Absorbable

Sherwood Davis & Geck

SG002	Dexon Mesh Danbury 7979-00	Beige polyglycolic acid absorbable surgical mesh fabric	18 x 23cm	$120.00

CB,L

William A Cook Australia Pty Ltd

WC248	Surgisis Biodesign 8-Layer Tissue Graft	Surgisis Biodesign 8-Layer Tissue Graft is 8 Layers  of 	20cm x 20cm 8 Layer Perforated Tissue Graft	$960.00	$3,150.00

processed small intestine submucosal porcine derived

collagen matrix, vacumm pressed and non cross - linked

material, that signals surrounding tissues to restore and

remodel while providing extra str

WC250	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated 	20cm x 20cm 8-Layer  Perforated and 	$960.00	$3,600.00

layers of processed small intestine submucosal porcine 	Corrugated Tissue Graft

derived collagen matrix, freeze dried, corrugated and non

cross-linked material, that signals surrounding tissues to

restore and remodel, while

Prostheses List by Category, Groups and Sponsor	Page 119 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.3.3.6  501-600scm Absorbable

CB,L

William A Cook Australia Pty Ltd

WC251	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated 	20cm x 30cm 8 Layer Perforated and 	$2,016.00	$5,400.00

layers of processed small intestine submucosal porcine 	Corrugated Tissue Graft

derived collagen matrix, freeze dried, corrugated and non

cross-linked material, that signals surrounding tissues to

restore and remodel, while

3.8.3.3.7  >600scm Absorbable

Johnson & Johnson Medical Pty Ltd

JJ020	Vicryl Mesh	1 sheet/box	Large - 30cm x 30cm	$252.00	$285.00

3.8.3.4.1  0-100scm Composite

3DC, L

Bard Australia Pty Ltd

BA096	Bard Composix Kugel Hernia Patch	Small Oval w/e PTFE	8 x 12 cms	$390.00

BA099	Bard Composix Kugel Hernia Patch	Small Circle w/e PTFE	8 x 8cms	$390.00

3DC,L

Bard Australia Pty Ltd

BA136	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, non-	4.3 cm x 4.3 cm (1.7" x 1.7")	$390.00

absorbable, sterile prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an ePTFE sheet; an

extruded monofilament PET polymer "ring" provides

memory, adds stability to the device. The

BA137	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, non-	6.4 cm x 6.4 cm (2.5" x  2.5")	$390.00

absorbable, sterile prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an ePTFE sheet; an

extruded monofilament PET polymer "ring" provides

memory, adds stability to the device. The

BA179	Bard Ventralex Hernia Patch	Bard Ventrlex Hernia Patch, Large	8cm x 8cm	$390.00

Prostheses List by Category, Groups and Sponsor	Page 120 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

L

Bard Australia Pty Ltd

BA065	Bard Mesh  	Composix Ventral mesh	2" x 4"	$365.00

L, PA

Johnson & Johnson Medical Pty Ltd

JJ446	PROCEED Surgical Mesh	PROCEED Surgical Mesh B1	2x4 (inches)	$365.00	$390.00

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS139	Parietex Composite 9F	Dual sided polyester meshes with a resorbable adhesion-	9cm round	$95.00	$850.00

prevention hydrophilic film

AS161	Parietene ProGrip Mesh (PRE-SHAPED)	Pre-Cut, slit mesh with self gripping overlapping flap - right 	12 x 8cm elliptic	$95.00	$450.00

or left

Johnson & Johnson Medical Pty Ltd

JJ240	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - non-	Small 6 x 11cm	$95.00

absorbable Prolene polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal hernia techniques

JJ465	ULTRAPRO Mesh	ULTRAPRO Mesh S3	6 x 11cm	$95.00

Ti

Medical Specialties  Australia Pty Ltd

MS043	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic warp-	TiPLUG	$95.00	$127.00

knitted fabric made of monofilament polypropylene threads

with an encapsulating titanic coating.

MS044	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic warp-	TiPATCH	$95.00	$127.00

knitted fabric made of monofilament polypropylene threads

with an encapsulating titanic coating.

3.8.3.4.2  101-200scm Composite

3DC

EMT Healthcare Pty Ltd

EM018	Abdominal Wall Reinforcement Implant	Polyester combined with polymerised silicone	12cm x 14cm & 12cm x 16cm	$275.00

EM019	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with Shape Mesh	EMT-KIT2BT2PMX (Bilateral)	$275.00

Prostheses List by Category, Groups and Sponsor	Page 121 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EM020	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with  Shape Mesh	EMT-KIT2NM (Unilateral)	$275.00

3DC, L

Bard Australia Pty Ltd

BA097	Bard Composix Kugel Hernia Patch	Medium Oval w/e PTFE	11 x 14 cms	$690.00

BA100	Bard Composix Kugel Hernia Patch	Large Circle w/e PTFE	12 x 12cms	$690.00

3DC, PA

Johnson & Johnson Medical Pty Ltd

JJ585	Ultrapro Hernia System	Ultrapro Hernia System. Mesh Made From Composite of 	Small to Large Oval	$275.00	$300.00

Monocryl & Prolene

3DC,L

Bard Australia Pty Ltd

BA162	Bard CK Parastomal Patch	Bard CK Parastomal Patch	12.5 x 15.5cm, 15.5 x 20.5cm	$690.00

L

Bard Australia Pty Ltd

BA066	Bard Mesh  	Composix Ventral mesh	3" x 6"	$436.00

BA067	Bard Mesh  	Composix Ventral mesh	4" x 8"	$436.00

BA101	Bard Composix E/X Mesh	Elliptical	4" x 6" (10 x 15cm)	$436.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG020	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra R 12.5cm, 15cm	$436.00	$875.00

L, PA

Johnson & Johnson Medical Pty Ltd

JJ447	PROCEED Surgical Mesh	PROCEED Surgical Mesh R1	3x6 inches	$436.00	$510.00

JJ448	PROCEED Surgical Mesh	PROCEED Surgical Mesh N1	4x6 inches oval	$436.00	$602.00

JJ449	PROCEED Surgical Mesh	PROCEED Surgical Mesh D1	4x8 inches	$436.00	$580.00

L,PA

Bard Australia Pty Ltd

BA186	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated 	3 x 6 inch	$436.00

with a biopolymer: a bioresorbable coating of modified

sodium hyaluronate, carboxymethylcellulose & polyethylene

glycol based hydrogel.

Prostheses List by Category, Groups and Sponsor	Page 122 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA187	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated 	4 x 8 inch	$436.00

with a biopolymer: a bioresorbable coating of modified

sodium hyaluronate, carboxymethylcellulose & polyethylene

glycol based hydrogel.

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS140	Parietex Composite 12F	Dual sided polyester meshes with a resorbable adhesion-	12cm round	$120.00	$950.00

prevention hydrophlic film

AS141	Parietex Composite 15F	Dual sided Polyester meshes with a resorbable adhesion-	15cm round	$120.00	$1,350.00

prevention hydrophilic film

AS143	Parietex Composite 1510F	Dual sided polyester meshes with a resorbable adhesion -	15x10cm square	$120.00	$1,350.00

prevention hydrophilic film

AS148	Parietex Composite 1510OS	Dual sided polyester meshes with a resorbable adhesion-	15x10cm square	$120.00	$1,350.00

prevention hydrophilic film

AS151	Parietex Composite Hiatal Hernia Mesh	Composite Mesh	8x8cm, 9x8cm, 8.5x8cm	$120.00	$875.00

AS152	Parietene Composite 12	Dual sided polypropylene mesh with resorbable adhesion-	12cm round	$120.00	$900.00

prevention hydrophilic film

AS153	Parietene Composite 1510	Dual sided polypropylene mesh with resorbable adhesion-	15x10cm Square	$120.00	$1,100.00

prevention hydrophilic film

AS162	Parietene ProGrip Mesh (FLAT)	Mesh with self gripping FLAT	15 x 9cm RECTANGLE	$120.00	$550.00

Johnson & Johnson Medical Pty Ltd

JJ241	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - non-	Medium 12 x 10cm	$120.00	$135.00

absorbable Prolene polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal hernia techniques

JJ242	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - non-	Large 15 x 10cm	$120.00	$135.00

absorbable Prolene polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal hernia techniques

JJ466	ULTRAPRO Mesh	ULTRAPRO Mesh P3	10 x 12cm	$120.00	$135.00

JJ467	ULTRAPRO Mesh	ULTRAPRO Mesh N3	10 x 15cm	$120.00	$135.00

Prostheses List by Category, Groups and Sponsor	Page 123 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Ti

Medical Specialties  Australia Pty Ltd

MS030	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	10 x15 cm TiMESH light	$120.00	$240.00

polypropylene threads with an encapsulating titanic coating

MS032	TiMESH extralight	Prosthetic warp-knitted fabric made of monfil 	10 x 15cm TiMESH extralight	$120.00	$240.00

polypropylene threads with an encapsulating titanic coating

3.8.3.4.3  201-300scm Composite

3DC, L

Bard Australia Pty Ltd

BA098	Bard Composix Kugel Hernia Patch	Large Oval w/e PTFE	14 x 18 cms	$799.00

L

Bard Australia Pty Ltd

BA068	Bard Mesh  	Composix Ventral mesh	6" x 8"	$560.00

BA102	Bard Composix E/X Mesh	Elliptical	6" x 8" (15 x 20cm)	$560.00

EMT Healthcare Pty Ltd

EM009	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for intra-	15 x 15cm	$560.00

peritoneal visceral surgery (Polypropylene/ePTFE or

Polyester/Silicone)

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG019	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra S 14x15cm	$560.00	$925.00

MG021	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra M 22x15x10cm	$560.00	$1,475.00

L, PA

Johnson & Johnson Medical Pty Ltd

JJ450	PROCEED Surgical Mesh	PROCEED Surgical Mesh M1	6x6 inches	$560.00	$845.00

JJ451	PROCEED Surgical Mesh	PROCEED Surgical Mesh G1	6x8 inches oval	$560.00	$1,045.00

Prostheses List by Category, Groups and Sponsor	Page 124 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

L,PA

Bard Australia Pty Ltd

BA188	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated 	6 x 8 inch	$560.00

with a biopolymer: a bioresorbable coating of modified

sodium hyaluronate, carboxymethylcellulose & polyethylene

glycol based hydrogel.

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS144	Parietex Composite 2015F	Dual sided polyester meshes with a resorbable adhesion-	20x15cm square	$152.00	$2,050.00

prevention hydrophilic film

AS149	Parietex Composite 2015OS	Dual sided polyester meshes with a resorbable adhesion-	20x15cm square	$152.00	$2,050.00

prevention hydrophilic film

AS154	Parietene Composite 1515	Dual sided polypropylene mesh with resorbable adhesion-	15x15cm	$152.00	$1,300.00

prevention hydrophilic film

AS155	Parietene Composite 2015	Dual sided polypropylene mesh with resorbable adhesion-	20x15cm Oval	$152.00	$1,650.00

prevention hydrophilic film

Johnson & Johnson Medical Pty Ltd

JJ019	Vypro Mesh	Vicryl/Prolene Composite Mesh	Medium - 15cm x 15cm	$152.00

JJ243	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - non-	Extra large 15 x 15cm	$152.00

absorbable Prolene polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal hernia techniques

JJ468	ULTRAPRO Mesh	ULTRAPRO Mesh M3	15 x 15cm	$152.00	$170.00

Ti

Medical Specialties  Australia Pty Ltd

MS033	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	15 x 15cm TiMESH light	$152.00	$288.00

polypropylene threads with an encapsulating titanic coating

MS034	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	15 x15cm TiMESH extralight	$152.00	$288.00

polypropylene threads with an encapsulating titanic coating

Prostheses List by Category, Groups and Sponsor	Page 125 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MS035	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH light	$152.00	$288.00

polypropylene threads with an encapsulating titanic coating

MS036	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH extralight	$152.00	$288.00

polypropylene threads with an encapsulating titanic coating

3.8.3.4.4  301-400scm Composite

EMT Healthcare Pty Ltd

EM008	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for intra-	20 x 20cm	$555.00

peritoneal visceral surgery (Polypropylene/ePTFE or

Polyester/Silicone)

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS142	Parietex Composite 20F	Dual sided polyester meshes with a resorbable adhesion-	20cm round	$200.00	$2,050.00

prevention hydrophilic film

3.8.3.4.5  401-500scm Composite

3DC, L

Bard Australia Pty Ltd

BA127	Composix Kugel Hernia Patch	Extra large oval - w/e PTFE	20cm X 25cm	$1,070.00

BA131	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a self-	Extra Large Oval w/e PTFE 18cm x 23cm	$1,070.00

expanding, non-absorbable, sterile prosthesis. Two layers

of monofilament, polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament PET polymer

"ring" provides memory, adds stability to the

BA135	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a self-	Oval w/e PTFE 16cm x 31.2cm	$1,070.00

expanding, non-absorbable, sterile prosthesis. Two layers

of monofilament, polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament PET polymer

"ring" provides memory, adds stability to the

Prostheses List by Category, Groups and Sponsor	Page 126 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

L

Bard Australia Pty Ltd

BA069	Bard Mesh  	Composix Ventral mesh	8" x 10"	$1,003.00

BA103	Bard Composix E/X Mesh	Elliptical	7" x 9" (18 x 23cm)	$1,003.00

BA104	Bard Composix E/X Mesh	Elliptical	8" x 10" (20 x 25 cm)	$1,003.00

L, PA

Johnson & Johnson Medical Pty Ltd

JJ452	PROCEED Surgical Mesh	PROCEED Surgical Mesh H1	8x10 inches oval	$1,003.00	$2,080.00

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS145	Parietex Composite 2520F	Dual sided polyester meshes with a resorbable adhesion-	25x20cm Oval	$220.00	$3,200.00

prevention hydrophilic film

AS150	Parietex Composite 2520OS	Dual sided polyester meshes with a resorbable adhesion-	25x20cm Square	$220.00	$3,200.00

prevention hydrophilic film

AS156	Parietene Composite 2520	Dual sided polypropylene mesh with resorbable adhesion-	25x20cm Oval	$220.00	$1,950.00

prevention hydrophilic film

Johnson & Johnson Medical Pty Ltd

JJ469	ULTRAPRO Mesh	ULTRAPRO Mesh T1	15x30cm	$220.00

3.8.3.4.6  501-600scm Composite

EMT Healthcare Pty Ltd

EM010	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for intra-	30 x 30cm	$1,050.00

peritoneal visceral surgery (Polypropylene/ePTFE or

Polyester/Silicone)

L, PA

Johnson & Johnson Medical Pty Ltd

JJ453	PROCEED Surgical Mesh	PROCEED Surgical Mesh J1	8x12 inches	$1,050.00	$2,400.00

Prostheses List by Category, Groups and Sponsor	Page 127 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

L,PA

Bard Australia Pty Ltd

BA189	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated 	8 x 12 inch	$1,050.00

with a biopolymer: a bioresorbable coating of modified

sodium hyaluronate, carboxymethylcellulose & polyethylene

glycol based hydrogel.

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS146	Parietex Composite 3020F	Dual sided polyester meshes with a resorbable adhesion-	30x20cm oval	$239.00	$4,200.00

prevention hydrophilic film

AS157	Parietene Composite 3020	Dual sided polypropylene mesh with resorbable adhesion-	30x20cm Oval	$239.00	$2,400.00

prevention hydrophilic film

3.8.3.4.7  >600scm Composite

3DC, L

Bard Australia Pty Ltd

BA128	Composix Kugel Hernia Patch	Extra large oval - w/ePTFE	25cm X 33cm	$1,270.00

L

Bard Australia Pty Ltd

BA063	Bard Mesh  	Composix Ventral mesh	10"x14"	$1,122.00

BA064	Bard Mesh  	Composix Ventral mesh	12"x12"	$1,122.00

BA105	Bard Composix E/X Mesh	Elliptical	10" x 13" (25 x 33 cm)	$1,122.00

BA106	Bard Composix E/X Mesh	Rectangle	10" x 14" (25 x 36 cm)	$1,122.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG022	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra L 30x30x20cm	$1,122.00	$1,850.00

L, PA

Johnson & Johnson Medical Pty Ltd

JJ454	PROCEED Surgical Mesh	PROCEED Surgical Mesh T1	10x13 inches oval	$1,122.00	$2,730.00

JJ455	PROCEED Surgical Mesh	PROCEED Surgical Mesh W1	10x14 inches	$1,122.00	$2,620.00

JJ456	PROCEED Surgical Mesh	PROCEED Surgical Mesh L1	12x12 inches	$1,122.00	$2,620.00

Prostheses List by Category, Groups and Sponsor	Page 128 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS147	Parietex Composite 3728F	Dual sided polyester meshes with a resorbable adhesion-	37x28cm oval	$280.00	$5,500.00

prevention hydrophilic film

Johnson & Johnson Medical Pty Ltd

JJ179	VYPRO Mesh	Vicryl (polyglactin 910) / Prolene (polypropylene) 	30cm x 30cm	$280.00	$300.00

composite mesh

JJ470	ULTRAPRO Mesh	ULTRAPRO Mesh L1	30x30cm	$280.00	$300.00

Ti

Medical Specialties  Australia Pty Ltd

MS038	TiMESH Extra Large	Prosthetic warp-knitted fabric made of monofil 	Extra Large TiMESH	$280.00	$1,810.00

polypropylene threads with an encapsulating titanic coating

3.8.4 Staples, wound (non-bone)

W L Gore & Associates

GT224	GORE SEAMGUARD® Bioabsorbable Staple Line 	As packaged, GORE SEAMGUARD Bioabsorbable 	Ethicon Endo-Surgery Endopath ETS45; 	$230.00

Reinforcement	Staple Line Reinforcement constitutes preformed porous 	Ethicon Endo-Surgery Endopath ETS45;

bioabsorbable sheets held into the form of sleeves (one 	Ethicon Endo-Surgery Endopath EZ45;

cartridge device, one anvil device) through the use of a non-	Ethicon Endo-Surgery Endopath Echelon 45,

absorbable polyester braided suture. A TYVEKR insert, 	Ethicon Endo-Surgery Endopath Echelon 60;

which is removed and discarded after positioning on the 	Ethicon Endo-Surgery Endopath ETS Flex

stapler, is included to facilitate the placement of the device 	60; USS Endo GIA Universal Straight 45;

onto the jaws of the surgical staplers. After deployment of 	USS Endo GIA Universal Roticulator 45;

the stapler/reinforcement material combination, the non-	USS Endo GIA Universal Straight 45; USS

absorbable suture component is removed and discarded. 	Endo GIA Universal Roticulator 45; USS

The implanted GORE SEAMGUARD Bioabsorbable 	Endo GIA Universal Straight 60; USS Endo

Staple Line reinforcement is a porous fibrous structure 	GIA Universal Roticulator 60; USS Endo

composed solely of synthetic bioabsorbable poly (glycolide;	GIA Universal Straight 60; Endo GIA

trimethylene carbonate) copolymer.	Universal Roticulator 60

Prostheses List by Category, Groups and Sponsor	Page 129 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT228	GORE SEAMGUARD® Bioabsorbable Staple Line 	As packaged, GORE SEAMGUARD Bioabsorbable 	Ethicon Endo-Surgery ENDOPATH 25 and 	$230.00	$322.00

Reinforcement, Endoscopic Staplers	Staple Line Reinforcement constitutes preformed	PROXIMATE 25; Ethicon Endo-Surgery

ENDOPATH 29 and PROXIMATE 29;

Ethicon Endo-Surgery ENDOPATH 33 and

PROXIMATE 33; Autosuture CEEA 25;

Autosuture CEEA 28; Autosuture CEEA 31;

Autosuture CEEA 34; Autosuture DST Series

CEEA 25; Autosuture DST Series CEEA 28;

Autosuture DST Series CEEA 31;

Autosuture DST Series CEEA 34

3.8.4.1 Staples, wound (non bone) with disposable applier

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS158	ABSORBATACK ™	Larposcopic Absorbable Fixation Device	5mm, 10 tacks	$435.00	$500.00

AS160	ABSORBATACK ™	Laparoscopic Absorbable Fixation Device	5mm, 20 tacks	$435.00	$550.00

3.8.5 Tissue Adhesive, Internal

3.8.5.1.1 Glue, tissue, biological

Advanced Biomedical Pty Ltd

AB011	Bioglue Surgical Adhesive - 2ml Solutions Cartridge  5 	Model No BG3002-5 (Bioglue Surgical Adhesive)	One size only	$394.00	The benefit amount/minimum benefit amount is

per pack	for an individual product which comes as a

pack of five, Temporary Approval.

Baxter Healthcare Pty Ltd

BX214	TISSEEL Two Component Fibrin Sealant Syringe	Active ingedients:Sealer Protein Solution & Thrombin 	2.0 ml (containing 1.0 ml of Sealer Protein 	$380.00	Temporary approval

Solution - deep-frozen	Solution and 1.0 ml of Thrombin Solution)

BX215	TISSEEL Two Component Fibrin Sealant Syringe	Active ingedients:Sealer Protein Solution & Thrombin 	4.0 ml (containing 2.0 ml of Sealer Protein 	$700.00	Temporary approval

Solution - deep-frozen	Solution and 2.0 ml of Thrombin Solution)

BX216	TISSEEL Two Component Fibrin Sealant Syringe	Active ingedients:Sealer Protein Solution & Thrombin 	10.0 ml (containing 5.0 ml of Sealer Protein 	$1,400.00	$1,762.00	Temporary approval

Solution - deep-frozen	Solution and 5.0 ml of Thrombin Solution)

Prostheses List by Category, Groups and Sponsor	Page 130 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

10ml

Advanced Biomedical Pty Ltd

AB004	BioGlue Surgical Adhesive - 10ml Syringe System	Model No BG3510-5-A (BioGlue Surgical Adhesive)	One size only	$1,030.00	Temporary Approval

AB007	Bioglue Surgical Adhesive - 10ml Solutions Cartridge 5 	Model No BG 3010-5 (Bioglue Surgical Adhesive)	One size only	$841.00	The benefit amount/minimum benefit amount is

per pack	for an individual product which comes as a

pack of five, Temporary Approval.

5ml

Advanced Biomedical Pty Ltd

AB003	BioGlue Surgical Adhesive - 5ml Syringe System	Model No BG3515-5-A (BioGlue Surgical Adhesive)	One size only	$630.00	Temporary Approval

AB005	Bioglue Surgical Adhesive - 5ml Solutions Cartridge 5 	Model No BG 3005-5 (Bioglue Surgical Adhesive)	One size only	$478.00	The benefit amount/minimum benefit amount is

Per pack	for an individual product which comes as a

pack of five, Temporary Approval.

3.8.5.1.2 Glue, tissue, synthetic

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS159	Pleuraseal Lung Sealant System	5ml Polymer Kit, Sterile Single-use	1 kit/box	$685.00

AS163	Vacuseal  Vascular Sealant System	5ml Polymer Kit, Sterile, Single-use	1 kit/box	$685.00

0.5ml

Johnson & Johnson Medical Pty Ltd

JJ576	Ethicon Omnex Surgical Sealant	Omnex Surgical Sealant	0.5 ml	$280.00

1ml

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG032	Glubran 2	Synthetic cyanoacrylic surgical glue. N-Butyl (2) 	1ml	$300.00

cyanoacrylate and methacryloxysulfolane co-monomer.

Prostheses List by Category, Groups and Sponsor	Page 131 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

2.0ml

Baxter Healthcare Pty Ltd

BX252	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols (PEG's), 	2ml	$320.00	Temporary approval, pending review of

COH102 and COH206, premixed and filled into one 	product group

syringe, a dilute hydrogen chloride solution and a sodium

phosphate/sodium carbonate solution

4.0ml

Baxter Healthcare Pty Ltd

BX253	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols (PEG's), 	4ml	$600.00	Temporary approval, pending review of

COH102 and COH206, premixed and filled into a syringe, 	product group+

a dilute hydrogen chloride solution and a sodium phosphate

sodium carbonate solution

8.0ml

Baxter Healthcare Pty Ltd

BX254	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols (PEG's), 	8ml	$1,120.00	Temporary approval, pending review of

COH102 and COH206, premixed and filled into a syringe, 	product group+

a dilute hydrogen chloride solution and a sodium phosphate

sodium carbonate solution

3.8.5.2.1 Extender

Advanced Biomedical Pty Ltd

AB009	BioGlue Surgical Adhesive - Syringe Applicator Tip 	Model No BGAT-10-SY (BioGlue Surgical Adhesive)	One size only	$31.00	Temporary Approval

Extender

3.8.5.2.2 Applicator Tip

Advanced Biomedical Pty Ltd

AB008	BioGlue Surgical Adhesive - Syringe Standard 	Model No BGAT-SY (BioGlue Surgical Adhesive)	One size only	$26.00	Temporary Approval

Applicator Tip

AB010	BioGlue Surgical Adhesive - Syringe Applicator Tip 	Model No BGAT-27-SY (BioGlue Surgical Adhesive)	One size only	$26.00	Temporary Approval

Extender

Prostheses List by Category, Groups and Sponsor	Page 132 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3.8.5.3.2 Adhesive peristrips (for internal implantation)

Advanced Biomedical Pty Ltd

AB012	Peri-Strips Dry	Model No PSD 4506-EN	One size only	$350.00	Temporary Approval

AB013	Peri-Strips Dry	Model No PSD 6006-UN	One size only	$350.00	Temporary Approval

AB018	Peri-Strips Dry	Model No PSD 4506-UN	One size only	$350.00	Temporary Approval

AB020	Peri-Strips Dry	Model No PSD 8006-UN	One size only	$350.00	Temporary Approval

3.8.5.4 Powder (for pleurodesis)

Medical Vision Australia Pty Ltd

MF003	Steritalc	Sterile granules of talc implanted in pleural space to act as 	3 grams & 4 grams	$60.00

permanent adhesive

Applicator

Baxter Healthcare Pty Ltd

BX276	Floseal Curved Applicator TIP 8 cm	FLOSEAL, which is listed on the Prostheses List, is used 	An 8cm long curved metal applicator tip	$26.00

as an adjunct to haemostasis when control of bleeding by

ligature or conventional surgical procedures is ineffective or

impractical.  This applicator is an 8 cm curved metal tip,

which is attached to the FLOSEAL syringe (sold

separately) as shown, for hard to reach anatomy.

BX278	Floseal Curved Applicator Tip 10 cm	FLOSEAL is used as an adjunct to haemostasis when 	A 10cm long curved metal applicator tip	$26.00

control of bleeding by ligature or conventional surgical

procedures is ineffective or impractical.  This applicator is

an 10 cm curved metal tip, which is attached to the

FLOSEAL syringe (sold separately) for hard to reach

anatomy.

Prostheses List by Category, Groups and Sponsor	Page 133 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Applicator, surgical sealant, dual-channel

Advanced Biomedical Pty Ltd

AB065	BioGlue Surgical Adhesive - Syringe Rigid Applicator 	Model No BGAT-RT-SY (BioGlue Surgical Adhesive)	One size only	$250.00

Tip 34cm

Baxter Healthcare Pty Ltd

BX261	Tisseel Duplospray MIS Applicator 20cm	Ttwo component Fibrin Sealant containing human derived 	A 20cm long dual lumen metal cannula	$42.00	$91.00

fibrinogen and thrombin.

BX262	TISSEEL DUPLOCATH 180cm	Ttwo component Fibrin Sealant containing human derived 	A 180cm long double lumen flexible 	$26.00

fibrinogen and thormbin.	application catheter

BX263	COSEAL Spray Accessory Kit	A hydrogel that acts as a sealant by adhering to itself and 	One size available	$26.00

the tissues it contacts.  COSEAL is designed to completely

seal suture lines along vascular reconstructions to prevent

fluids from leaking.

BX264	TISSEEL DUPLOTIP 20g x 26.4cm	Ttwo component Fibrin Sealant containing derived 	A 26.4cm long dual umen applicator	$26.00

fibrinogen and thrombin.

BX265	TISSEEL DUPLOTIP 5mm x 31.8cm	Ttwo component Fibrin Sealant containing human derived 	A 31.8cm long dual lumen applicator	$31.00

fibrinogen and thormbin.

BX266	TISSEEL DUPLOSPRAY MIS APPLICATOR 	Ttwo component Fibrin Sealant containing human derived 	Packs of 10 sterile packs each containing 2 	$20.00

REPLACEMENT TIPS	fibrinogen and thrombin.	tips and an installation tool

BX267	TISSEEL DUPLOSPRAY MIS APPLICATOR 40 cm	Two component Fibrin Sealant containing human derived 	A 40 cm long dual lumen metal cannula	$42.00	$91.00

fibrinogen and thrombin.

BX268	TISSEEL DUPLOCATH 35cm MIC/MIS	Two component Fibrin Sealant containing human derived 	A 35cm long double lumen flexible application	$31.00

fibrinogen and thormbin.	 catheter

BX269	TISSEEL Easyspray Set	Ttwo component Fibrin Sealant containing human derived 	One size	$14.00

fibrinogen and thrombin.

BX271	TiSSEEL DUPLOTIP 20g x 10.4cm	Two component Fibrin Sealant containing human derived 	10.4cm long dual lumen applicator	$26.00

fibrinogen and thrombin.

BX272	TISSEEL DUPLOCATH 25cm	Ttwo component Fibrin Sealant containing human derived 	A 25cm long double lumen flexible application	$26.00

fibrinogen and thormbin.	 catheter

Prostheses List by Category, Groups and Sponsor	Page 134 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BX273	Floseal Endoscopic Applicator	Used as an adjunct to haemostasis when control of bleeding	A 35cm long disposable cannulated applicator.	$31.00

by ligature or conventional surgical procedures is

ineffective or impractical.

BX274	TISSEEL DUPLOTIP 20G x 5.3cm	Two component Fibrin Sealant containing human derived 	A 5.3 cm long dual lumen applicator.	$26.00

fibrinogen and thrombin.

BX277	TISSEEL DUPLOSPRAY MIS APPLICATOR 30 cm	Two component Fibrin Sealant containing human derived 	A 30 cm long dual lumen metal cannula	$42.00	$91.00

fibrinogen and thrombin.

Barrier, Absorbable, Adhesion Prevention

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS138	Prevadh	Adhesion Prevention film	12x12cm, 17x12cm	$345.00	$1,100.00

Brachytherapy Sources

Oncura Pty Limited

ON003	RAPID Strand Rx Kit	Pre-loaded, variable per patient prescription version of 	Custom size up to 100 seeds	$6,800.00	$7,150.00

RAPID Strand

Catheters, Peritoneal Dialysis

Cardinal Health

CI004	Pleurx	Pleurx Peritoneal Catheter Mini Kit	Catheter 71.0cm x 15.5 Fr	$395.00

CI006	PleurX® Peritoneal Catheter Drainage System	Peritoneal Catheter kit with Drainage system with 10 x 	Catheter 71cm x 15.5FR; 500mL or 1000mL	$395.00	$975.00

1000 mL or 500mL vacuum bottle set.	 vacuum bottles

CI007	PleurX® Pleural Catheter Drainage System	- Includes integral drainage system components for, and 	Catheter 24cm x 15.5 FR; 500 mL or 1000 	$425.00	$975.00

hence should replace CI005 Pleural Catheter Mini Kit. The	mL vacuum bottles

vacuum bottles (10 in a set) were previously omitted from

CI005.

Prostheses List by Category, Groups and Sponsor	Page 135 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Cuff, internal, nerve, biodegradable

ev3 Australia Pty Ltd

EE027	ev3 Micro Catheters	For the delivery of therapeutic agents such as embolisation 	Length: 135 - 170cm; Diameter: 3.0 - 1.3 Fr	$700.00

coils and liquid embolics. The Rebar Micro Catheter is the

only one on the market which also delivers liquid embolics.

LMT Surgical Pty Ltd

LM080	Ascension Neurolac	A bioresorbable tension-less Nerve repair guide	1.5mm x 3cm to 10.0mm x 3cm	$1,500.00

Drainage system, pleural

Cardinal Health

CI005	Pleurx	Pleurx Pleural Catheter Mini Kit	Catheter 24cm x 15.5Fr	$425.00

Gastroplasty Bands

Rymed Pty Ltd

RY001	MiniMizer Adjustable Gastric Band	Silicon elastomer	14mm wide, 16.6cm band two phase closure, 	$2,200.00

1: 31mm inner diameter, phase 2: 26mm inner

diameter. 40cm silicon tube attached

Icodextrin Solution - Barrier, absorbable, adhesion prevention

Baxter Healthcare Pty Ltd

BX260	ADEPT Adhesion Reduction Solution	ADEPT Adhesion Reduction Solution is a single use, sterile	1500ml	$250.00

fluid for intraperitoneal administration. ADEPT is intended

to be used as an instillate for the reduction of adhesions

following abdominal surgery.

Prostheses List by Category, Groups and Sponsor	Page 136 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Infusion administration set, insulin pump

Roche Diagnostics Australia Pty Ltd

RO021	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula / 30cm tubing	$8.00	$15.00

RO022	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula / 80cm tubing	$8.00	$15.00

RO023	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula only	$8.00	$10.00

RO025	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 60 cm tubing	$8.00	$15.00

RO026	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 80 cm tubing	$8.00	$15.00

RO027	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula only	$8.00	$10.00

RO028	Accu-Chek Infusion Set	FlexLink	8mm cannula / 30cm tubing	$8.00	$15.00

RO029	Accu-Chek Infusion Set	FlexLink	8mm cannula / 60cm tubing	$8.00	$15.00

RO030	Accu-Chek Infusion Set	FlexLink	8 mm cannula / 80 cm tubing	$8.00	$15.00

RO031	Accu-Chek Infusion Set	FlexLink	8 mm cannula only	$8.00	$10.00

RO032	Accu-Chek Infusion Set	FlexLink	10 mm cannula / 30 cm tubing	$8.00	$15.00

RO033	Accu-Chek Infusion Set	FlexLink	10mm cannula / 60cm tubing	$8.00	$15.00

RO034	Accu-Chek Infusion Set	FlexLink	10mm cannula / 80cm tubing	$8.00	$15.00

RO035	Accu-Chek Infusion Set	FlexLink	10 mm cannula only	$8.00	$10.00

RO036	Accu-Chek Infusion Set	Rapid-Dlink	6 mm cannula (with 10cm tail)	$8.00	$26.00

RO037	Accu-Chek Infusion Set	Rapid-Dlink	8 mm cannula (with 10 cm tail)	$8.00	$26.00

RO038	Accu-Chek Infusion Set	Rapid-Dlink	10 mm cannula (with 10 cm tail)	$8.00	$26.00

RO039	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 20 cms	$4.00

RO040	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 50 cms	$4.00

RO041	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 70 cms	$4.00

RO042	Accu-Chek Infusion Set	Protective Blue Cap	Cap	$1.00

RO043	Accu-Chek Infusion Set	Plastic Cartridge (H-Tron & Spirit)	3.15mL	$8.00

Prostheses List by Category, Groups and Sponsor	Page 137 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Infusion Pump Administration Sets

Roche Diagnostics Australia Pty Ltd

RO024	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 30 cm tubing	$8.00	$15.00

Infusion pump, analgesic, patient-controlled

Surgical Specialties

SQ036	Painbuster C bloc	Continuous Nerve Block kit -provides continual flow of 	400ml	$260.00	$320.00

local anaesthetic near a nerve

SQ037	Painbuster C Bloc	Continuous Nerve Block Kit -provides continual flow of 	400-600ml	$260.00	$450.00

local anaesthetic near a nerve, with options of variable flow

rate, bolus or dual flow.

Infusion pump, general-purpose

Hospira Pty Limited

HO001	GemStar Infusion Pump	Infusion pump, general purpose	Approx. 14.0 cm H x 9.7 cm W x 5.1cm D	$5,445.00

Infusion Pumps

Hospira Pty Limited

HO003	Gemstar infusion system administration cassette and set	Administration cassette and set for use with Gemstar 	2.2 micron filter	$35.00

infusion pump series

Prostheses List by Category, Groups and Sponsor	Page 138 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Infusor Devices, Automated Pressure Driven, Non-Implantable

Stryker Australia Pty Ltd

SR068	PainPump 2 Continuous Peripheral Nerve Block Kit & 	Re-programmable & refillable pumps with bolus option nd 	400ml kits	$700.00

PainPump 2 BlockAid Kit	digital display providing controlled infusion of a local

anaesthetic directly innervating the surgical site for post-

operative pain management.

SR069	Painpump 2	Programmable pump with bolus option and digital display 	250ml & 400ml Dual Site kits	$610.00

providing controlled infusion of a local anaesthetic directly

into dual surgical sites for post-operative pain management

Marker, leison localization, implantable

MD Solutions Pty Ltd

MB001	Vari-Strand	Vari-Strand consists of variable stranded seed 	Variable (individually prescribed) stranded 	$6,500.00	$7,150.00

configurations in pre-loaded needles for the purpose of 	seed configurations in pre-loaded needles

delivering radioactive seeds for the treatment of prostate 	delivered in a sterilized tray.

cancer. Varistrand Multiple is delivered in a sterilized tray

and opened in the operating theatre for immediate use by

the urologist and radiation oncologist.

MB002	Vari-Strand	Vari-Strand consists of a single stranded seed in a pre-	Single (individually prescribed) seed in a pre-	$65.00	$82.00

loaded needle for the purpose of delivering a radioactive 	loaded needle delivered in a sterilized tray.

seed for the treatment of prostate cancer.

Varistrand Single is delivered in a

sterilized tray and opened in the operating theatre for

immediate use by the urologist and radiation oncologist.

Prostheses List by Category, Groups and Sponsor	Page 139 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mesh, polymeric, composite

3.8.3.4.1  0-100scm Composite

3DC, PA

Johnson & Johnson Medical Pty Ltd

JJ602	ULTRAPRO Plug	Partially Absorbable Synthetic Surgical Mesh Device	Small- Onlay patch plug: 12cm x 7.5cm, 5cm 	$275.00

rim diameter, 3cm anchor diameter; Medium-

Onlay patch plug: 12cm x 7.5cm, 5cm rim

diameter, 4cm anchor diameter; Large- Onlay

patch plug: 12cm x 7.5cm, 5cm rim diameter,

5cm anchor diameter

Prostheses, Nerve Sheath

LMT Surgical Pty Ltd

LM017	Neurotube	Bioabsorbable nerve conduit made of polyglycolic acid	2.3mm - 8mm	$1,430.00

Prostheses List by Category, Groups and Sponsor	Page 140 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sponge, haemostatic, absorbable

Baxter Healthcare Pty Ltd

BX258	FloSeal Hemostatic Matrix	FloSeal is a proprietary combination of specially engineered	5mL,	$700.00

collagen derived particles and topical thrombin.  FlowSeal

is not a sponge or a fibrin glue, rather it is a high viscosity

gel for hemostasis.  Clinically proven (refer Appendix 1;

Section 2-4) to control bleeding from capillary oozing to

arterial spurting, FloSeal functions on wet and actively

bleeding tissues.  FlowSeal Matrix consists of a bovine

derived Gelatin Matrix component, a human derived

Thrombin component, applicator tips and several mixing

accessories.  The Gelatin Matrix consists of crosslinked

gelatin granules and is provided sterile and non-pyrogenic in

a standard disposable syringe.  The Thrombin (Human) is a

sterile, non-pyrogenic, feeeze-dried, vapour-heated

powder preparation made from pooled human plasma.  A

sterile, non-pyrogenic calcium chloride solution is provided

for reconsitution of the thrombin.  After reconstitution, the

resulting thrombin solution contains 500 IU/mL Thrombin

(Human).  FloSeal Matrix is the combination of the Gelatin

Matrix component and the reconstituted Thrombin (Human)

component.  Thrombin must be added to the Gelatin

Matrix component prior to use.

Prostheses List by Category, Groups and Sponsor	Page 141 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BX259	FloSeal Hemostatic Matrix	FloSeal is a proprietary combination of specially engineered	10ml	$1,000.00

collagen derived particles and topical thrombin.  FloSeal is

not a sponge or a fibrin glue, rather it is a high viscosity gel

for hemostasis.  Clinically proven (refer Appendix 1;

Section 2-4) to control bleeding from capillary oozing to

arterial spurting, FloSeal functions on wet and actively

bleeding tissues.  FloSeal Matrix consists of a bovine

derived Gelatin Matrix componenet, a human derived

Thrombin component, applicator tips and several mixing

accessories.  The Gelatin Matrix consists of crosslinked

gelatin granules and is provided sterile and non-pyrogenic in

a standard disposable syringe.  The Thrombin (human) is a

sterile, non-pyrogenic, freeze-dried, vapour-heated powder

preparation made from pooled human plasma.  A sterile,

non-pyrogenic calcium choride solution is provided for

reconstituion of the thrombin.  After reconstitutionm the

resulting thrombin solution contains 500 IU/mL Thrombin

(human).  The FloSeal Matrix is the combination of the

Gelatin Matrix componenet and the reconstituted Thrombin

(human) component.  Thrombin must be added to the

Gelatin Matrix component prior to use

Johnson & Johnson Medical Pty Ltd

JJ636	Spongostan Absorbable Haemostatic Gelatin Powder	1 g Porcine Absorbable Haemostatic Gelatin Powder	1 gram	$47.00

JJ640	Surgiflo Haemostatic Matrix	Absorbable Porcine Gelatin Matrix Pre-packaged in a 	6ml of gelatin gel per kit.  Mixing with 2ml-5ml	$450.00

Syringe	 of saline or thrombin produces 8ml-11ml of

haemostatic matrix.

Prostheses List by Category, Groups and Sponsor	Page 142 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Spring Infusor, Ambulatory

Stryker Australia Pty Ltd

SK461	PainPump 2	Programmable or Preset pump with bolus option and digital	250ml & 400ml kits	$450.00

display providing controlled infusion of a Local Anaesthetic

directly into a surgical site for post-operative pain

management

Tissue Reconstructive Materials

Lifehealthcare Pty Ltd

LH377	Durasphere FL	Composition: Pyrolitically carbon coated silica bead in an 	Syringe 1ml	$520.00

aqueous gel. Injectable bulking agent for the treatment of

Faecal Incontinence. Syringe plus needle.

LH378	Durasphere FL	Composition: Pyrolitically carbon coated silica bead in an 	Syringe 3ml	$1,560.00

aqueous gel. Injectable bulking agent for the treatment of

Faecal Incontinence. Syringe plus needle.

unclassified 38442 - Unclassified

Baxter Healthcare Pty Ltd

BX270	COSEAL Applicator Tips 10 cm	COSEAL, which is listed on the Prostheses List, is a 	A 10cm long applicator tip	$26.00

hydrogel that acts as a sealant by adhering to itself and the

tissues it contacts.  COSEAL is designed to completely seal

suture lines along vascular reconstructions to prevent fluids

from leaking.  This applicator is a 10 cm malleable tip,

which is attached to the COSEAL syringe (sold separately)

and which can be manipulated to allow the surgeon to

apply COSEAL to hard to reach anatomy.

Prostheses List by Category, Groups and Sponsor	Page 143 of 869

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BX275	COSEAL Extended Applicator 22 cm	COSEAL, which is listed on the Prostheses List, is a 	A 22 cm long malleable applicator	$26.00

hydrogel that acts as a sealant by adhering to itself and the

tissues it contacts.  COSEAL is designed to completely seal

suture lines along vascular reconstructions to prevent fluids

from leaking.  This applicator is a 22 cm long, disposable

and malleable, dual lumen device which is attached to the

COSEAL syringe (sold separately) for precise delivery of

COSEAL [Surgical Sealant] to small areas or deep surgical

sites.

Prostheses List by Category, Groups and Sponsor	Page 144 of 869

MECHANICAL INTERNAL WOUND CLOSURE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Applier, Surgical Stapler, Cutting

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS135	DST™ Series EEA™ XL	Circular Stapler	5 sizes	$780.00	$840.00

Fixation device, internal, staple, tissue

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS134	DST Series EEA Or Vil	Accessory	21mm, 25mm	$450.00

Prostheses List by Category, Groups and Sponsor	Page 145 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.1.1 Aneurysm Clip, small

4.1.1.1 Aneurysm Clip,Small,Metal/Alloy

B Braun Australia Pty Ltd

BB109	Aneurysm Clip	Yasargil Phynox Mini	2.8mm x 110g to 7.0mm x 130g	$205.00

BB111	Aneurysm Clip	Yasargil Titanium Mini	2.8mm x 110g to 7.0mm x 110g	$270.00

BB218	Kopitnik Microneurosurgical AVM Clips	Composition: Phynox (Cobalt-base-alloy)	2mm, 3mm, 4mm, 5mm - straight. 2mm, 	$240.00

3mm, 4mm, 5mm - curved.

Johnson & Johnson Medical Pty Ltd

JJ147	Aneurysm Clips	Stainless steel standard clip, right angle	0.6mm diameter, 5.5 mm length	$269.00

4.1.2 Aneurysm Clip, medium

4.1.2.1 Aneurysm Clip,Medium,Metal/Alloy

B Braun Australia Pty Ltd

BB108	Aneurysm Clip	Yasargil	4.5mm x 150g to 25.0mm x 200g	$215.00	$230.00

BB110	Aneurysm Clip	Yasargil Titanium	4.9mm x 150g to 20.0mm x 200g	$258.00

BB112	Aneurysm Clip	Yasargil Reinforcing, Titanium/Phynox	One size only	$422.00

BB175	Yasargil Aneurysm Clip System	Phynox temporary clips are manufactured from phynox.	3mm - 20mm length, phynox temporary clips.	$230.00

BB176	Yasargil Aneurysm Clip System	Titanium termporary clips are manufactured from titanium	3mm- 25mm length, titanium temporary clips.	$280.00

BB290	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium, Permanent 	5mm-9mm, 45 Deg	$620.00	$680.00

Standard Fenestrated

BB291	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium, Permanent 	5mm-13mm, 90 Deg	$620.00	$680.00

Standard Fenestrated

BB292	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox Cobalt Alloy, 	5mm-9mm, 45 Deg	$460.00	$482.00

Permanent Standard Fenestrated

BB293	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox Cobalt Alloy, 	5mm-13mm, 90 Deg	$460.00	$482.00

Permanent Standard Fenestrated

Johnson & Johnson Medical Pty Ltd

JJ151	Aneurysm Clips	Stainless steel standard clip, bayonet	9mm length	$345.00

Prostheses List by Category, Groups and Sponsor	Page 146 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lifehealthcare Pty Ltd

LH117	Aneurism Clip	Sugita Clip, Temporary Straight/S,  Sugita Clip, Temporary	One Size Each	$405.00

Straight/L

4.1.3 Aneurysm Clip, large or extra large

4.1.3.1 Aneurysm Clip,Large or Extra Large,Metal/Alloy

Johnson & Johnson Medical Pty Ltd

JJ136	Aneurysm Clips	Stainless steel large clip, curved	Blade 6mm diameter, 7.5mm length	$420.00

JJ137	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 5mm length	$408.00

JJ139	Aneurysm Clips	Stainless steel large clip, 30 degree angle	Blade length 12mm	$424.00

JJ141	Aneurysm Clips	Stainless steel large clip, fenestrated	Blade 6mm diameter, 24mm length	$408.00

JJ142	Aneurysm Clips	Stainless steel large clip, fenestrated tandem	Blade 6mm diameter, 6 mm length	$378.00

JJ144	Aneurysm Clips	Stainless steel standard clip, side angle	0.6mm diameter, 10mm length	$260.00

JJ146	Aneurysm Clips	Stainless steel standard clip, slightly curved	0.6mm diameter, 15mm length	$278.00

JJ150	Aneurysm Clips	Stainless steel standard clip, slightly curved	16mm length	$370.00

JJ152	Aneurysm Clips	Stainless steel standard clip, bayonet	15mm length	$350.00

4.1.4 Aneurysm Clip, size not specified

4.1.4.1 Aneurysm Clip, Size not specified or various,Metal/Alloy

Johnson & Johnson Medical Pty Ltd

JJ130	Aneurysm Clips	Stainless steel alloy AVM Micro Clip	Blade length 2-9.5 mm	$270.00

JJ131	Aneurysm Clips	Stainless steel Graft Clip (with teflon graft)	Blade 2-5mm diameter, 3-7mm length 	$598.00

JJ134	Aneurysm Clips	Stainless steel Reinforcing (booster) Clip	Blade length 2-9.5 mm	$460.00

JJ138	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 7.5-15mm length	$378.00

JJ140	Aneurysm Clips	Stainless steel large clip, bayonet	Blade length 5-12mm	$445.00

JJ143	Aneurysm Clips	Stainless steel standard clip, straight to right angled	4.5-10mm length	$258.00

JJ148	Aneurysm Clips	Stainless steel standard clip, straight to right angle	0.5-0.6mm diameter, 5-15mm length	$295.00

Prostheses List by Category, Groups and Sponsor	Page 147 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ149	Aneurysm Clips	Stainless steel standard clip, straight to curved	5-25mm length	$370.00

JJ153	Aneurysm Clips	Stainless steel standard clip, curved	10-14mm length	$365.00

JJ154	Aneurysm Clips	Stainless steel standard clip, slightly curved to curved	8-20mm length	$408.00

JJ155	Aneurysm Clips	Stainless steel standard clip, bayonet to right angle	6-25mm length	$406.00

JJ217	Aneurysm Clips	Stainless steel large clip	Blade 4-6mm diameter, 5-25mm length	$378.00

Lifehealthcare Pty Ltd

LH116	Aneurism Clip	Sugita Clips, Standard Slightly Curved,	One Size Each	$460.00

LH118	Aneurism Clip	Sugita Clips: Standard Straight-Short #1/Long #2	One Size Each	$342.00

LH119	Aneurism Clip	Sugita Titanium Anneurysm Clips: Standard Straight/s, 	One Size Each	$269.00

Straight-L, Bayonet, Angled, Straight-Small, STD Temp-

STD Small, STD Temp-Straight/Large, STD Temp-

Bayonet, STD Temp-CVD, Mini Straight-Small, Mini

Straight/Large, Mini Curve, Mini Angled, Mini Curve

LH147	Aneurism Clip	Sugita Titanium Clips: Standard Slight Angle, Side CVD, 	One Size Each	$318.00

CVD, Angled, Bayonet-Small/Large, Straight-Medium,

Slight CVD, Straight Large, L Angle-Small/Medium/Large,

45D CVD Small/Medium/Large, STD Temp Slight CVD,

Temp Mini Straight/Large, Temp Mini Angle,

LH148	Aneurism Clip	Sugita Titanium Clips: Standard Side CVD Bayonet, Small 	One Size Each	$420.00

CVD, Side Angled, Slight CVD, J Angle-

Small/Medium/Large, Slight CVD Small, Temp Mini

Straight Slim, Standard L Curved- Small/Large, Mini

Straight Slim, Curve Slim,

LH149	Aneurism Clip	Sugita Titanium Clips: Booster	One Size Each	$435.00

LH150	Aneurism Clip	Sugita Clips: Mini Straight Slim, CVD Slim	One Size Each	$460.00

LH151	Aneurism Clip	Sugita Clips: Fenest, Lrg L Shaped W/CVD	One Size Each	$500.00

LH152	Aneurism Clip	Sugita Clips, Mini CVD Slim	One Size Each	$618.00

Prostheses List by Category, Groups and Sponsor	Page 148 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH153	Aneurism Clip	Sugita Clips, Long	One Size Each	$620.00

LH154	Aneurism Clip	Sugita Clip,  Large Straight/Short	One Size Each	$220.00

LH155	Aneurism Clip	Sugita Clip, Temporary Bayonet, Bent	One Size Each	$230.00

LH156	Aneurism Clip	Sugita Clip, STD Sideward CVD	One Size Each	$236.00

LH157	Aneurism Clip	Sugita Clip, Large Sideward Bent, Bent, Bayonnet-	One Size Each	$296.00

Short/Large, Straight-Medium/Long

LH158	Aneurism Clip	Sugita Clip, Large L Shaped-Short/Medium/Large, Large J	One Size Each	$319.00

Shaped-Short/Medium/Large, Fenest Large Straight-

S/M/L, Large Bent-S/M/L, Fenest Large L Shaped-S/M/L

LH159	Aneurism Clip	Sugita Clip, Temporary Mini Straight, Bent, Mini 	5-7mm length x 1.2mm width, closing force 	$328.00

Straight/Short, Bent, SDEWARD CVD, CVD	125gms

LH160	Aneurism Clip	Sugita Clip, Mini CVD	4mm length x 1.2mm width, closing force 120 	$331.00

& 124gms

LH161	Aneurism Clip	Sugita Clip, Mini CVD	5mm length x 1.2mm width, closing force 	$366.00

132gms

LH162	Aneurism Clip	Sugita Clip, Large Slightly Crv-Short/Long	One Size Each	$390.00

LH163	Aneurism Clip	Sugita Clip, Large 45 D Angle/s, Slightlyn Crv/s, 	One Size Each	$380.00

Temporary Slighly Crv, Mini Straight Slim, Large 1/4

CVD, Mini

LH164	Aneurism Clip	Sugita Clip, Large Straight, Bayonet, Mini Bayonet	One Size Each	$400.00

LH165	Aneurism Clip	Sugita Clip, Large L Shaped W/CRV-S/L, 1/4 CVD-S/L	One Size Each	$410.00

LH166	Aneurism Clip	Sugita Clip, Large 45D Angle-M/L	One Size Each	$400.00

LH167	Aneurism Clip	Sugita Clip, Fenest Large L Shaped-L, Bayonet	One Size Each	$460.00

LH168	Aneurism Clip	Sugita Clip, Fenest Large L Shaped W/CVD	One Size Each	$224.00

LH169	Aneurism Clip	Sugita Clips, Standard Bayonnet, Bent, Sideward Bent, 	One Size Each	$236.00

Sideward Curve, Slight Bent

LH170	Aneurism Clip	Sugita Clips, Standard Sideward Curve, Curved	One Size Each	$370.00

Prostheses List by Category, Groups and Sponsor	Page 149 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH171	Aneurism Clip	Sugita Clips, Standard Slight CVD, CVD	11mm length x 1.2 width, closing force 125-	$342.00

160gms; 9mm length x 1.2 width, closing

force 120-155gms

LH294	Mizuho - Titanium Fenestrated Aneuysm Clips	Straight (S/M/L), Bent (S/ M/L),  L-Shaped (S/M/L), 	Closing Force 95 to 160 gms	$568.00

Bayonet,  L Shaped curved to left (S/M/L),  L-Shaped

curved to right (S/M/L)

4.2.1 Dura Repair

4.2.1.1 Dural Repair graft - large

W L Gore & Associates

GT056	Preclude  Dura Substitute	ePTFE	0.3mm Thickness 2 x 10cm	$492.00

Collagen

Medtronic Australasia Pty Ltd

MC754	Durepair	Dura Substitute, Collagen	4" x 5"	$1,890.00

Polymer

B Braun Australia Pty Ltd

BB015	Neuro-Patch	Polyesterurethane	12 x 14cm	$655.00

BB113	Neuropatch Dura Substitute	Polyurethane	6 x 14cm	$352.00

BB115	Neuropatch Dura Substitute	Polyurethane	4 x 10cm	$257.00

Synthetic

W L Gore & Associates

GT054	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6 x 6cm	$472.00

GT055	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6cm x 12cm	$785.00

GT057	Preclude Dura Substitute	ePTFE	0.3mm Thickness 5 x 6 cm	$707.00

GT058	Preclude  Dura Substitute	ePTFE	0.3mm thickness 6 x 10cm	$1,335.00

GT059	Preclude Dura Substitute	ePTFE	0.3mm thickness 10 x 12cm	$2,372.00

4.2.1.2 Dural Repair graft - medium

Collagen

Medtronic Australasia Pty Ltd

MC751	Durepair	Dura Substitute, Collagen	2" x 2"	$605.00

MC752	Durepair	Dura Substitute, Collagen	1" x 3"	$545.00

Prostheses List by Category, Groups and Sponsor	Page 150 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC753	Durepair	Dura Substitute, Collagen	3" x 3"	$1,120.00

Stryker Australia Pty Ltd

SK493	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	1" x 3" (2.5cm x 7.5cm)	$545.00

SK496	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	2" x 2" (5cm x 5cm)	$605.00

Polymer

B Braun Australia Pty Ltd

BB114	Neuropatch Dura Substitute	Polyurethane	6 x 8cm	$291.00

BB117	Neuropatch Dura Substitute	Polyurethane	2 x 10cm	$254.00

4.2.1.3 Dural Repair graft - small

Collagen

Medtronic Australasia Pty Ltd

MC750	Durepair	Dura Substitute, Collagen	1" x 1"	$360.00

Stryker Australia Pty Ltd

SK492	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	1" x 1" (2.5cm x 2.5cm)	$330.00	$360.00

SK494	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	4" x 5" (10cm x 12.5cm)	$1,890.00

SK495	Dura Matrix	Resorbable Collagen Dura Substitute Membrane	3" x 3" (7.5cm x 7.5cm)	$1,120.00

Polymer

B Braun Australia Pty Ltd

BB116	Neuropatch Dura Substitute	Polyurethane	4 x 5cm	$240.00

BB118	Neuropatch Dura Substitute	Polyurethane	1.5 x 3cm	$72.00

4.2.1.4 Dural Repair sealant

Hydrogel

Lifehealthcare Pty Ltd

LH296	Duraseal Dural Sealant	DuraSeal is a Synthetic, absorbable, Polyethylene Glycon, 	5ml of hydrogel sealant	$835.00	Temporary approval, pending review of

hydrogel sealant used as an adjunct to sutured dural repair 	product group

to achieve watertight closure.

Prostheses List by Category, Groups and Sponsor	Page 151 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.2.1.5 Cranium and Dura Defect Repair,Dura Repair,Other Dura Repair

Johnson & Johnson Medical Pty Ltd

JJ740	Duraform Dural Graft Implant - 1" x 1" (2.5x2.5cm)	Collagen-based dural graft implant	1'x1' (2.5x2.5cm)	$330.00

JJ741	Duraform - 1" x 3" (2.5x7.5cm)	Collagen-based dural graft implant	1x3"(2.5x7.5cm)	$545.00

JJ742	Duraform Dural Graft Implant - 2" x 2"(5x5cm)	Collagen-based dural graft implant	2'x2' (5x5cm)	$605.00

JJ743	Duraform Dural Graft Implant - 3" x 3" (7.5 x 7.5cm)	Collagen-based dural graft implant	3" x 3" (7.5 x 7.5cm)	$1,120.00

JJ744	Duraform Dural Graft Implant - 4" x 5" (10x12.5cm)	Collagen-based dural graft implant	4" x 5" (10x12.5cm)	$1,890.00

4.3.1 Anti-Siphon Device / Valve (Accessory)

Global Scientific Pty Ltd

GS001	Heyer-Schulte In Line Valve System	Anti Siphon Device	One size only	$390.00	$640.00

GS196	Gravity Compensating Accessory	Silicone/Stainless steel	low, medium & high pressures	$880.00

GS217	Siphon Limiting Device	Silicone Shunt Accessory for control of CSF overdrainage	15mm length, 4.5mm height, 10mm width	$577.00

Integra Neurosciences Pty Ltd

IG001	Horizontal-Vertical (H-V) Lumbar valve system	The H-V Lumbar Valve adjusts to changes in posture to 	903-325A  85-125   205-285  small children,	$1,060.00

maintain pressure appropriate levels in both standing and 	 903-335A  85-125  265-365  tall children,

recumbent positions.  Has a unique anti-gravity mechanism 	adults,  903-345A  85-125  325-445 tall

automatically increasing flow resistance when the patient 	adults,  903-320A  50-80  170-240  small

resumes a standing or sitting position, this dramatically 	children, 903-330A  50-80  230-320 tall

reducing the risks of siphoning and all related complications.	children, adults, 903-340A  50-80,  290-400

tall adults

Johnson & Johnson Medical Pty Ltd

JJ164	Siphonguard CSF Control Device	PET shell anti-siphon device for shunt	One size only	$390.00

Prostheses List by Category, Groups and Sponsor	Page 152 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.3.2 CSF Drainage Catheter

Global Scientific Pty Ltd

GS010	Heyer-Schulte Connectors for Neurosurgical Use	Pudenz straight, Pudenz right angled, Pudenz three-way (Y)	Each in one size	$143.00

Threaded straight, Threaded right angled, Double

threaded straight

GS015	Heyer-Schulte Pudenz Ventricular Catheter	-	small, standard, right-angled	$185.00

GS134	Shunt	Lumbar	80cm	$1,046.00

GS135	Shunt	Peritoneal	90 - 120cm	$350.00

GS136	Shunt	Ventricular	14.5cm - 23cm	$475.00

GS139	Heyer Schulte Portnoy Flanged Ventricular Catheter	Composition - silicone with tantalum markings	Length 18cm, outer diameter 8mm	$475.00

GS151	Peritoneal Catheter	Peritoneal Catheters	Length: 91cm, F7.  OD: 2.1mm; ID:1.1mm	$180.00

GS207	Ventricular Catheter	Silicone, with and without right angle connectors	3-15cm, finned, straight and right angle	$310.00

GS214	Cardiac/Peritoneal Catheters	SiliconDistal Catheter, ID 1.3mm, OD 2.5mm	90cm, barium impregnated silicone catheter, 	$185.00

closed or open ended, with or without slits

GS215	Ventricular Catheters	Silicon Ventricular Catheter	15cm - 25cm, optional flanges or right angle 	$185.00

or endoscopic tip. ID 1.3mm, OD 2.5mm

Johnson & Johnson Medical Pty Ltd

JJ161	Codman-Medos Non-programmable Valve System	Silicone fixed pressure lumber/peritoneal catheter, James 	Peritoneal Catheter length 25-80cm	$375.00

design

JJ162	Codman-Medos Non-programmable Valve System	Silicone fixed pressure lumber/peritoneal catheter, Holter 	Peritoneal Catheter length 65 cm	$870.00

design

JJ218	HOLTER Intracranial Pressure Shunt	HOLTER Ventricular Catheter, packaged sterile, silicone 	3 - 7cm and 15cm	$149.00

rubber

JJ225	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter, packaged sterile, 	90cm in length	$155.00

silicone

JJ226	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter Salmon, packaged 	90cm in length	$247.00

sterile, silicone

Prostheses List by Category, Groups and Sponsor	Page 153 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ227	Codman Medos Straight Ventricular Catheter	14cm, packaged sterile, silicone rubber	14cm	$149.00

JJ229	Codman Medos Peritoneal Catheter	85cm, packaged sterile, silicone rubber	85cm	$185.00

JJ261	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO catheter, packaged sterile, silicone rubber	91cm in length	$197.00

JJ263	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO barium ventricular catheter, packaged sterile, 	One size only	$154.00

silicone rubber

Medtronic Australasia Pty Ltd

MC583	CSF - Ventricular Catheters PSM Range	Non metallic latex free. Barium impregnated, include 	ID 1.3mm OD 2.5mm Length 15cm, 23cm; 	$212.00

stainless steel stylet.  Model Nos 41101, 41115, 41207, 	ID 1.2mm OD 2.1mm Length 15cm, 23cm

41103, 41308, Proximal ventricular catheter.

MC584	CSF - Distal Catheters	Non metallic and latex free, Models 	Distal cardiac/peritoneal catheters ID 1.3mm 	$185.00

43418,43103,43111,43209,43522,43551,27211	OD 2.5mm Length 90cm, 96cm, 110cm,

120cm, ID 1.2mm, OD 2.1mm, Length 90cm,

75cm, 58cm

MC735	Rivulet	Ventricular Catheter	15cm - 23cm	$310.00

MC857	Small Lumen Peritoneal Catheter	CSF Distal Catheter	ID - 0.7mm OD - 2.5mm Length - 120cm	$185.00	$235.00

Antiboitic Impregnated

Johnson & Johnson Medical Pty Ltd

JJ160	Hakim Ventricular Catheter with Bactiseal Silicone	Silicone antibiotic impregnated catheter	Ventricular catheter length 14 cm	$675.00

JJ163	Hakim Ventricular and Peritoneal Catheter Set with 	Silicone ventricular/peritoneal catheter	Peritoneal Catheter length 80 cm, Ventricular 	$469.00

Bactiseal Silicone	Catheter length 15 cm

Hydrogel

Medtronic Australasia Pty Ltd

MC638	Peritoneal Catheter PSM range with Bioglide	Translucent silicone elastomer with Barium impregnated 	60-90cm	$255.00

stripe.  Catheter surface bonded with Hydrogel.

MC639	Ventricular Catheter PSM range with Bioglide	Translucent silicone elastomer with Barium impregnated 	15-23cm	$249.00

stripe. Catheter surface bonded with Hydrogel.

Prostheses List by Category, Groups and Sponsor	Page 154 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Ventricular atrial

Global Scientific Pty Ltd

GS133	Shunt	Components - catheter: Atrial	55cm - 60cm, Low - High pressure range	$450.00

GS150	Atrial Catheter 	Components - catheter: Atrial Atrial Catheters  	Length: 46cm, F7.  OD: 2.1mm; ID:1.1mm	$165.00

Hydrocephalux Valve Accessories

4.3.3 CSF Drainage Connector

Global Scientific Pty Ltd

GS193	Connectors	Silicone and Stainless Steel	Straight, right angle, Y, T	$396.00

GS194	Electa right angle guide	Silicone	One Size Only	$200.00

Johnson & Johnson Medical Pty Ltd

JJ228	Codman Medos Connector	Codman Medos stainless steel shunt connector straight	One size only	$38.00

JJ262	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO three way connector, packaged sterile, metal 	One size only	$143.00

or plastic

JJ264	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO right angle connector, packaged sterile, metal 	One size only	$70.00

or plastic

Medtronic Australasia Pty Ltd

MC533	Shunt: Components catheter	Ventricular Catheter, CSF Catheter	1.3 - 35cm	$149.00

4.3.4 CSF Reservoir for Hydrocephalus treatment

Johnson & Johnson Medical Pty Ltd

JJ165	Burr Hole Button	Stainless steel ventriculostomy reservoir	One size only	$375.00

JJ167	Burr Hole Button	Silicone ventriculostomy reservoir, flat bottom	One size only	$260.00

JJ168	Burr Hole Button	Silicone ventriculostomy reservoir, standard	One size only	$172.00

JJ169	Burr Hole Button	Silicone ventriculostomy reservoir, large	One size only	$355.00

Prostheses List by Category, Groups and Sponsor	Page 155 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Silicone

Global Scientific Pty Ltd

GS007	Heyer-Schulte Spetzler Lumbar-Peritoneal Low Pressure	-	Small, large	$425.00

Flushing Reservoir

GS012	Heyer-Schulte Ommaya CSF Reservoir	Standard, side-inlet, convertible, mini	1.5 - 2.5cm and mini	$717.00

GS138	Shunt	Reservoir	Standard, Large	$390.00

GS218	Reservoirs	Shunt component	9mm to 25mm, with or without convertible 	$512.00

outlet port, burr hole or flat bottom style

Medtronic Australasia Pty Ltd

MC534	Pressure valve (anti-siphon device or  flushing valve or 	Neonatal Reservior, CSF Lumbo Peritoneal	2 - 90cm	$720.00

flush pump)

Stainless steel

Johnson & Johnson Medical Pty Ltd

JJ166	Burr Hole Button	Silicone or stainless steel ventriculostomy reservoir	14mm diameter	$450.00

JJ170	Burr Hole Button	Silicone or stainless steel ventriculostomy reservoir, low 	One size only	$335.00

profile

JJ171	Burr Hole Button	Silicone or stainless steel ventriculostomy reservoir	24mm diameter	$400.00

4.3.5 CSF Shunt for Hydrocephalus treatment

4.3.5.1.1 CSF Shunt for Hydrocephalus Treatment,Non-adjustable Valve,Not Programmable

Medtronic Australasia Pty Ltd

MC530	Hydrocephalus Shunt	Ventricular/Atrial, CSF Flow Control Shunts, Cont Small 	38cm-90cm	$450.00

Valve

Hydrogel

Medtronic Australasia Pty Ltd

MC531	Hydrocephalus Shunt	Ventricular/Peritoneal. CSF Flow Control Valves, BioGlide	12mm-90cm	$893.00

Contoured, Ventriculostomy Kit-E, Neonatal Delta Snap

Shunt

MC532	Hydrocephalus Shunt	With Hydrostatic Valve, Delta Valves/Shunts/BioGlide, 	12mm-90cm	$1,110.00

Vent Catheters

Prostheses List by Category, Groups and Sponsor	Page 156 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC647	Delta Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal plastic base. 	36-40mm x 9-20mm (0.5-2.0)	$1,500.00

Silicone elastomer dome. Surface of valve bonded with

hydrogel (Bioglide surface modification).

MC648	Delta Valve Unitised with Bioglide PSM range	CSF Flow Valves. Polypropylene and acetal plastic base. 	8-13.5cm x 90-120cm (0.5-2.0)	$1,990.00

Silicone elastomer dome. Unitised system includes the

valve, integral ventricular and peritoneal catheter (all

components connected). Surface of valve bonded with

hydrogel (Bioglide surface modificat

MC651	Delta Valve Assembly with Bioglide PSM range	CSF Flow Valves. Polypropylene and acetal plastic base. 	90-120cm (0.5, 1.0, 1.5, 2.0)	$1,775.00

Silicone elastomer dome. Assembly system includes the

valve, integral peritoneal catheter, female luer adapter and

prefill tubing. Surface of the valve bonded with hydrogel

(Bioglide surface modification

Includes Catheter/s, Includes Anti-siphon Device

Medtronic Australasia Pty Ltd

MC529	Hydrocephalus Shunt	Lumbar peritoneal	84cm	$450.00

MC649	Delta Shunt Unitised	Delta valve is a fixed pressure CSF valve, available in four 	Delta Unitised Shunt small (Distal 65cm-	$1,725.00

performance levels. Delta Unitised shunt includes a delta 	90cm, ventricular 11cm) - 0.5, 1.0, 1.5 and

valve, pre-attached ventricular catheter, and a pre-attached	2.0. Delta Unitised Shunt regular (Distal

peritoneal catheter. Right Angle Clip. Disposable Quick 	90cm, ventricular catheter 13cm) - 0.5, 1.0,

Release Ventricular	1.5 and 2.0

MC650	Delta Shunt Assembly	Delta valve is a fixed CSF pressure valve, available in four 	90-120cm (0.5 - 2.0)	$1,560.00

performance levels. Includes an Integral (distal) Peritoneal

Catheter, Disposable Peritoneal Catheter Passer, Female

Luer Adapter and Prefill Tubing.

Includes Catheter/s, Includes Connector/s

Global Scientific Pty Ltd

GS002	Spetzler Lumbar-Peritoneal Shunt System	Shunt, CSF Reservoir, In-line valve	Catheter length 80 - 105cm, Reservoir small 	$1,080.00

& large, Valve pressure range low - high

GS014	Edwards Barbaro Syringo Peritoneal Shunt	80 x 3.5cm 5FRT-Tube, 90cm peritoneal reflux control 	One size only	$1,445.00

catheterStep down connector, Foltz CSF Reservoir

Prostheses List by Category, Groups and Sponsor	Page 157 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Includes Catheter/s, Includes Connector/s, Include

Global Scientific Pty Ltd

GS213	Lumboperitoneal Shunt Assemblies	CSF LP Shunt includes: silicone catheter, stainless steel 	Straight or "T" tube	$325.00

trocar, suture tabs

4.3.5.2.2 CSF Shunt for Hydrocephalus Treatment,Adjustable Valve,Programmable

Medtronic Australasia Pty Ltd

MC535	Pressure valve (anti-siphon device or  flushing valve or 	Reservoir, CSF Vent Reservoir, Snap Assembly Reservoir	6 - 90mm	$1,790.00

flush pump)

MC644	Strata Valve NSC (non siphon control) PSM range	CSF Flow Valve. Polypropylene and acetal plastic base. 	13-16mm x 23-32mm (0.5-2.0)	$2,020.00

Silicone elastomer dome.

Hydrogel

Medtronic Australasia Pty Ltd

MC641	Strata Valve Unitised with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal plastic base. 	One size only	$2,700.00

Silicone elastomer dome.

MC642	Strata Valve Assembly with Bioglide PSM range	CSF Flow Valves. Polypropylene and acetal plastic base. 	One size	$2,038.00	$2,730.00

Silicone elastomer dome.

MC643	Strata Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal plastic base. 	13-16mm x 35-47mm	$2,350.00

Silicone elastomer dome.

Includes Catheter/s, Includes Anti-siphon Device

Medtronic Australasia Pty Ltd

MC645	Strata Valve Unitised NSC (non siphon control) PSM 	Adjustable CSF valve with five symmetric performance 	8-120cm	$2,406.00

range	level steps. Includes a strata valve, pre-attached ventricular

catheter, and a pre-attached peritoneal catheter. Right

Angle Clip. Disposable Quick Release Ventricular Catheter

Introducer.

MC646	Strata Valve Assembly NSC (non siphon control) PSM 	Adjustable CSF valve with five symmetrical performance 	One size	$2,245.00

range	level steps. Includes a strata valve, an integral distal

peritoneal catheter and catheter passer, and a female leur

adaptor and prefill tubing. Polypropylene and acetal plastic

base. Silicone elastome

Prostheses List by Category, Groups and Sponsor	Page 158 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Includes Catheter/s, Includes Connector/s, Include

Medtronic Australasia Pty Ltd

MC640	Strata Shunt, Unitised	Adjustable CSF valve with five symmetric performance 	8-13.5cm x 9-120cm	$2,560.00

level steps.  Includes strata valve, pre-attached ventricular

catheter, and a pre-attached peritoneal catheter. Right

Angle Clip. Disposable Quick Release Ventricular Catheter

Introducer. Disposable Sub

MC652	Strata Shunt Assembly	Adjustable CSF valve with five symmetric performance 	90-120cm	$2,406.00

level steps. The assembly includes an Integrated (distal)

Peritoneal Catheter. Disposable Peritoneal Catheter Passer.

Female Luer Adapter and Prefill tubing.

4.3.6 CSF Valve for Hydrocephalus Treatment

4.3.6.1 Hydrocephalus Device,CSF Valve for Hydrocephalus Treatment,Non-adjustable Valve

Johnson & Johnson Medical Pty Ltd

JJ440	Codman Hakim Precision Valve, Right Angle Reservoir	features 5 operating pressures	10, 40, 70, 100, and 130mmH2O	$1,390.00

Includes Anti-siphon Device

Johnson & Johnson Medical Pty Ltd

JJ439	Codman Hakim Precision Valve with Siphonguard, Inline	features 5 operating pressures and SIPHONGUARD 	Pressure settings 10, 40, 70, 100 and 	$1,500.00

Reservoir	technology	130mmH2O

Includes Catheter/s, Includes Anti-siphon Device

Johnson & Johnson Medical Pty Ltd

JJ438	Codman Hakim Precision Valves with Siphonguard, 	features 5 operating pressures and SIPHONGUARD 	Pressure settings 10, 40, 70, 100 and 	$1,500.00

Right Angle Reservoir	technlogy	130mmH2O

Includes Catheter/s, Includes Connector/s

Global Scientific Pty Ltd

GS140	Heyer Schulte Ultra VS Valve Kit Neonatal Style	Comprises of silicone, kit includes valve, peritoneal cather, 	Peritoneal catheter 90cm, ventricular catheter 	$1,624.00

ventricular catheter and rickham style reservoir	18cm

Prostheses List by Category, Groups and Sponsor	Page 159 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GS141	Ultra VS Shunt Kit Standard - Heyer Schulte	Composition silicone, kits contain standard valve, 	3.8-5.8mm diameter valve, 18cm ventricular 	$1,624.00

ventricular catheter, peritoneal catheter, rickham reservoir	catheter, low, medium high pressure, 120cm

peritoneal catheter

GS143	LPV Shunt System Kit - Heyer Schulte	Composition silicone, kit includes LPV valve, peritoneal 	Standard - low, medium, high pressure; Mini -	$1,435.00

catheter, ventricular catheter, right angle catheter guide	 low, medium, high pressure

GS145	Cordis Omnishunt System, Hakim Valve Series	Hakim Valve System	Drainage Cath 110 cm, F7. Vent. Cath 15cm,	$1,030.00

F8.

GS146	Cordis Standard Valve System Hydrocephalus Valves	Atlas Valve System	Drainage Cath 110 cm, F7. Vent. Cath 15cm,	$1,190.00

F8.

Johnson & Johnson Medical Pty Ltd

JJ156	Hakim Precision Valve System	Precision valve standard. Silicone casing & catheter; 	Peritoneal Catheter length 80 cm, Ventricular 	$1,110.00

stainless steel ruby ball in cone mechanism with fixed 	catheter length 14 cm

pressure

JJ157	Hakim Precision Valve System	Precision valve and pre-chamber. Silicone casing & 	Peritoneal Catheter length 80 cm, Ventricular 	$1,320.00

catheter; stainless steel ruby ball in cone mechanism with 	catheter length 14 cm

fixed pressure

Includes Catheter/s, Includes Connector/s, Include

Global Scientific Pty Ltd

GS006	Novus Hydrocephalic Shunt Kit	Pressure range low, medium	Standard, mini	$2,155.00

GS137	Shunt	Pressure valve (anti-siphon device or  flushing  valve or 	Low - High pressure range	$1,885.00

flush pump)

GS142	Novus Hydrocephalic Shunt - Heyer Schulte	Novus valve made from silicone/polysulfone, each valve is 	Standard size - low & medium pressure; Mini 	$1,624.00

packed with a valve and a right angled catheter guide	size - low & medium pressure

GS195	Cordis Omnishunt System	Silicone and Synthetic ruby	Very low to very high pressures	$775.00

GS209	Neonatal Shunt System	Shunt Assembly, includes separate ventricular catheter, 	Medium, low or low-low pressure	$1,335.00

integral distal catheter

GS210	Contour Flex Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, silicone ventricular 	Small (24mm Length) or regular (28mm 	$1,335.00

and peritoneal catheters	Length); low, low/medium and medium

pressure; various catheter and valve

configurations

GS212	Equi Flow Shunt Assemblies	CSF Shunt, includes silicone ventricular and peritoneal 	Small (35mm length) or Regular (40mm 	$1,690.00

catheters, silicone encased overdrainage control valve	length); low, low/medium and medium

pressure; various kit configurations

Prostheses List by Category, Groups and Sponsor	Page 160 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GS216	Burr Hole Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, silicone ventricular 	16mm or 12mm base; low, medium or high 	$650.00

and peritoneal catheters	pressure, various kit configurations

Includes Catheter/s, Includes Connector/s, Reservo

Johnson & Johnson Medical Pty Ltd

JJ220	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, packaged sterile, 	One size only	$1,500.00

stainless steel and ruby valve mechanism, silicone rubber

ventricular and peritoneal catheters.  In line or right angled

with reservoir.  Opening pressure  H20; Very high 130mm,

high 100mm, medium 70mm

JJ221	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, packaged sterile, 	One size only	$1,390.00

stainless steel and ruby valve mechanism, silicone rubber

ventricular and peritoneal catheters.  In line or right angled

with reservoir.  Opening pressure  H20; Very high 130mm,

high 100mm, medium 70mm

Includes Connector/s

Global Scientific Pty Ltd

GS004	Heyer-Schulte Pudenz Flushing Valve with Integral Conn	Pressure range low - high	12, 16mm	$780.00

GS011	LPV Shunt System	Standard, mini, Pressure range low - high	.	$1,405.00

GS017	Heyer-Schulte In Line Valve System	Ultra VS Cylindrical Shunt/Valve system - Neonate style, 	.	$893.00

Pressure range low - high

GS018	Heyer-Schulte In Line Valve System	Ultra VS Shunt Valve, Pressure low - high	small, standard	$893.00

GS144	Spetzler In Line Valve - Heyer Schulte	Composition silicone, valve with integral connectors	Low, Medium, High Pressure	$1,110.00

GS208	Contour-Flex Valves	Silicone encased CSF Valve	Smal (24mm Length) or Regular (28mm 	$1,066.00

Length), low medium or high pressure

Includes Connector/s, Includes Anti-siphon Device

Global Scientific Pty Ltd

GS003	Heyer-Schulte Pudenz Flushing Valve	With Anti Siphon Device, Pressure range low - high	12, 16mm	$1,425.00

Prostheses List by Category, Groups and Sponsor	Page 161 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GS005	Heyer-Schulte Mishler Dual Chamber Flushing Valve 	Burr-hole and flat bottom designsPressure range low - high	Standard, mini	$1,525.00

System

GS211	Equi Flow Valves	Valve only	Small (35mm length) or Regular (40mm 	$1,285.00

length); low, low/medium and medium pressure

4.3.6.2 Hydrocephalus Device,CSF Valve for Hydrocephalus Treatment,Adjustable Valve

Johnson & Johnson Medical Pty Ltd

JJ158	Hakim Programmable Valve System	Standard system. Silicone casing without catheter; stainless 	One size only	$2,800.00

steel ruby ball in cone mechanism with variable pressure

JJ436	Codman Hakim Programmable Valves	18 different pressure settings, various models	One Size Only	$2,700.00

Medtronic Australasia Pty Ltd

MC928	Strata NSC L-P Shunt	Lumboperitoneal Shunt	44mm x 23mm x 12mm	$2,700.00

Includes Anti-siphon Device

Johnson & Johnson Medical Pty Ltd

JJ437	Codman Hakim Programmable Valves with Siphonguard	18 different pressure settings and SIPHONGUARD 	One Size Only	$3,250.00

technology

Includes Catheter/s

Johnson & Johnson Medical Pty Ltd

JJ219	Hakim Programmable Valve System	Fixed pressure hydrocephalus shunt, packaged sterile, 	One size only	$3,250.00

stainless steel and ruby valve mechanism, silicone rubber

ventricular and peritoneal catheters.  In line or right angled

with reservoir.  Valve can be reprogrammed non-invasively

18 pressure settings a

Includes Catheter/s, Includes Connector/s

Johnson & Johnson Medical Pty Ltd

JJ159	Hakim Programmable Valve System	Standard system. Silicone casing with catheter; stainless 	Peritoneal Catheter length 80 cm, Ventricular 	$3,140.00

steel ruby ball in cone mechanism with variable pressure	catheter length 14 cm

Prostheses List by Category, Groups and Sponsor	Page 162 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Includes Catheter/s, Includes Connector/s, Include

Global Scientific Pty Ltd

GS147	Precision Flow-OSV II Valve System	Lumbar peritoneal OSV11-Lumboperitoneal System 	Lumber Catheter 80cm, F5  Peritoneal 	$1,725.00

Hydrocephalus Shunt	Catheter 110cm, F7

GS148	Precision Flow-OSV II Valve System 	Ventricular/Atrial OSV11-Ventricular /Atrial 	Drainage Cath 110 cm, F7. Ventricular 	$1,725.00

Hydrocephalus Shunt	Catheters 7,9,13 & 15 cm

GS149	Precision Flow-OSV II Valve System	Ventricular/Peritoneal OSV11-  Ventricular/Peritoneal 	Drainage Cath 110 cm, F7. Ventricular 	$1,725.00

Hyrocephalus Shunt	Catheters 7,9,13 & 15 cm

Includes Connector/s, Includes Anti-siphon Device

Medtronic Australasia Pty Ltd

MC536	Valves, Hydrocephalic	Strata Adjustable Delta Valve	12 -16mm	$715.00

With Antisyphon device

Medical Specialties  Australia Pty Ltd

MS003	Sterile Hydrocephalic Shunts	Plastic/magnetic. Programmable valve. Programmer kit and 	3, 8 settings	$2,700.00

shunts kit.

4.4.1 Implantable Pulse Generator for DBS

St. Jude Medical Australia Pty Ltd

SJ171	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis Model 3608	One size only	$17,450.00

4.4.1.1 Implantable Pulse Generator, single channel

Single Channel

Medtronic Australasia Pty Ltd

MC228	Soletra Model 7426 Neurostimulator	Sterility - Ethylene Oxide.  Neurostimualtor comprised of 	One size only	$9,050.00

electronic circuitry and a battery, which are hermatically

sealed in a titanium case

Prostheses List by Category, Groups and Sponsor	Page 163 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.4.1.2 Implantable Pulse Generator, dual channel

Medtronic Australasia Pty Ltd

MC838	Medtronic ACTIVA PC Neurostimulator for Deep Brain	ACTIVA PC Dual channel primary cell neuro stimulator for	One size only	$15,060.00	$18,500.00

Stimulation	 Deep Brain Stimulation (37601)

Dual Channel

Medtronic Australasia Pty Ltd

MC001	Kinetra Dual Channel Implantable Pulse Generator 	Titanium, polyurethane	One size only	$15,060.00

Model 7428

4.4.2 Patient programmer for single channel DBS system

Medtronic Australasia Pty Ltd

MC249	Access Therapy Controller	Handheld device used with the Kinetra and Soletra 	One size only	$1,400.00	To be funded for the initial implant only.

Implantable Pulse Generators

4.4.2.1 Patient programmer for DBS system

Medtronic Australasia Pty Ltd

MC837	Medtronic Activa Patient Programmer	Patient Programmer for Activa RC and PC (Model 37642)	One size only	$1,400.00	$1,600.00

4.4.3 Lead for DBS system

4.4.3.2 Permanent lead for DBS system

Quadripolar

Medtronic Australasia Pty Ltd

MC244	Medtronic Australasia DBS Lead Model 3389,  	Deep brain stimulation lead with four platinum iridium 	28 - 40cm	$4,150.00

Medtronic quadripolar Itrel II- 7424DBS, Active 	electrodes Models 3387 and 3389.  Electrode spacing is

Implantable Stimulator & Ancillary Equipment	1.5mm apart for Model 3387 and 0.5mm apart for Model

3389.  PTFE, polyurethane, platinum/iridium, nickel alloy,

tungsten

Prostheses List by Category, Groups and Sponsor	Page 164 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.4.4 Lead extension

Medtronic Australasia Pty Ltd

MC305	Low Profile Impedance Extension Kit for DBS Model 	Silicone Rubber	25, 40, 51, 66, 95cm	$1,510.00	$2,100.00

7482

MC852	Medtronic Extension for Deep Brain Stimulation	Medtronic ACTIVA Stretch Coil Extension for use with 	40cm, 60cm, 95cm	$1,948.00	$2,500.00

ACTIVA RC and PC

4.4.5 Accessory kit

Medtronic Australasia Pty Ltd

MC841	Medtronic MicroTargeting Electrodes	Microelectrodes used for intra-operative recording of 	Various	$950.00	$1,500.00

neuronal activity

MC842	Medtronic Screening Cable (Twist Lock)	Screening Cable with Twist Lock for Intraoperative testing	One size only	$300.00	Temporary Listing

MC843	Medtronic Screening Cable (Alligator Clip)	Screening Cable with Alligator Clip for Intraoperative testing	One size only	$300.00	Temporary Listing

DBS Lead Securement Device

Medtronic Australasia Pty Ltd

MC767	Stimloc	Burr Hole Cover	14mm	$400.00	$550.00

MER Cable

Medtronic Australasia Pty Ltd

MC764	Microelectrode Cable	Cable used for intracranial recording of neural activity prior 	One size	$150.00	$200.00

to DBS

MER Electrode

Medtronic Australasia Pty Ltd

MC766	MicroTargeting Electrodes	Electrode used for intracranial recording of neural activity 	276.5mm	$950.00	$1,500.00

prior to DBS

Revision Kits

Medtronic Australasia Pty Ltd

MC770	Snap Lid Connector	Connector for implanted lead to external Implantable Pulse 	2.5" x 5.0"	$300.00

Generator

Prostheses List by Category, Groups and Sponsor	Page 165 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.5.1 Pulse Generator for Pain Management

4.5.1.1 Radiofrequency system

St. Jude Medical Australia Pty Ltd

SJ163	ANS Spinal Cord Stimulation System (SCS) RENEW	Dual Receiver 16 Channel (2 x 8 channel)	One size only	$12,450.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ164	ANS Spinal Cord Stimulation System (SCS) RENEW	Single Receiver. 8 Channel (1 x 8) 	One size only	$9,450.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ167	ANS Spinal Cord Stimulation System (SCS) RENEW	Transmitter Kit 8 Channel	One size only	$6,783.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

4.5.1.2 Primary Cell (non-rechargeable system

Medtronic Australasia Pty Ltd

MC137	Medtronic A/Asia, Synergy Dual Channel Implantable 	DCI - Pulse Generator: Synergy Dual Channel Implantable 	One size only	$17,250.00	When used in pain therapy - to be funded when

Pulse Generator Model 7427, Active Implantable 	Pulse Generator Model 7427. Materials - Titanium 	 the patient has undergone a multi-disciplinary

Stimulators.	assessment and trial of stimulation.

St. Jude Medical Australia Pty Ltd

SJ166	ANS Spinal Cord Stimulation System (SCS) RENEW	Transmitter Kit 16 Channel	One size only	$9,450.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ174	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis G4 Model 3604	One Size Only	$9,450.00

SJ175	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis XP Model 3609	One Size Only	$18,650.00

SJ176	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis XP Dual Model 	One Size Only	$18,650.00

3644

Prostheses List by Category, Groups and Sponsor	Page 166 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.5.1.3 Patient programmer

Medtronic Australasia Pty Ltd

MC247	Patient Activators	Hand held device Models 7434 & 7435 to be used with 	One size only	$1,400.00	When used in pain therapy - to be funded when

Itrel III and Synergy Implantable Pulse Generators	 the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

4.5.2 Implantable Neurostimulators

Primary Cell (Non-rechargable system

Medtronic Australasia Pty Ltd

MC742	Prime Advanced	Implantable Neurostimulator	Dimensions: 65 x 49 x 15mm	$18,650.00	$21,000.00

4.5.2.1 Rechargeable Implantable Neurostimulator

Boston Scientific Australia Pty Ltd

BS104	Precision SCS Implantable Pulse Generator	Rechargeable Neurostimulation System Implantable Pulse 	One Size Only	$22,000.00

Generator.

Medtronic Australasia Pty Ltd

MC746	Restore Advanced INS	Implantable Neurostimulator	Dimensions: 65 x 49 x 15mm	$21,000.00	$24,000.00

MC929	Medtronic RestoreULTRA Neurostimulator	16 Electrode Rechargeable implantable Neurostimulator for	22cc	$19,150.00	$25,000.00

pain management (37712)

St. Jude Medical Australia Pty Ltd

SJ133	Eon Mini Neurostimulation System - Implantable Pulse 	Eon Mini Neurostimulation System - Implantable Pulse 	18cc, 29g	$19,150.00	$22,000.00

Generator 3788	Generator 3788

SJ179	Genesis RC Rechargeable IPG	Genesis RC (IPG) Neurostimulation System	70mm	$19,150.00

SJ180	Genesis RC Rechargeable IPG	Genesis RC Dual 4 (IPG) Neurostimulation System	76mm	$19,150.00

SJ182	Eon Neurostimulation System	Eon Neurostimulation Implantable Pulse Generator #3716	Height = 59mm	$19,150.00

Prostheses List by Category, Groups and Sponsor	Page 167 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.5.2.2 Patient Therapy Manager / patient programmer

Boston Scientific Australia Pty Ltd

BS106	Precision SCS External Patients Remote Programmer	Hand held remote control External Patient Programmer	One Size Only	$1,350.00

BS107	Precision SCS Clinician Programmer	Independent clinician programmer for the precision SCS 	One Size Only	$3,200.00

system

BS108	Precision SCS Bionic Navigator	Remote Control for the Clinician Programmer	One Size Only	$750.00

St. Jude Medical Australia Pty Ltd

SJ172	ANS Spinal Cord Stimulation System (SCS) GENESIS	Patient Programmer Model 3850	One size only	$2,831.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation

SJ177	ANS Spinal Cord Stimulation System (SCS) GENESIS	QuikLink Patient Programmer Model 3860	One Size Only	$1,250.00

SJ183	Eon Neurostimulation System	Eon Programmer #3851	.	$2,831.00

4.5.2.3 External recharger

Boston Scientific Australia Pty Ltd

BS105	Precision SCS External Patient Recharger	External Patient Recharging System: Base Station, charger, 	One Size Only	$1,346.00

Cradle power supply, charger base station

BS143	Precision SCS External Patient Recharger System	External Patient Recharging System: Base Station, Charger,	One size only	$1,000.00	$3,000.00

Cradle power supply, charger base station.

Medtronic Australasia Pty Ltd

MC692	Restore Rechargeable Neurostimulation System	External Patient Recharger System Model 37752	one size only	$3,000.00

St. Jude Medical Australia Pty Ltd

SJ181	Genesis RC Rechargeable IPG	External Charging System	.	$1,000.00

Prostheses List by Category, Groups and Sponsor	Page 168 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.5.3 Lead

4.5.3.1 Lead

St. Jude Medical Australia Pty Ltd

SJ138	Lamitrode Lead - Tripole 16C	Tripole 16C (3214)	Length 60cm	$7,040.00	$7,640.00

SJ168	ANS Spinal Cord Stimulation System (SCS)	Lamitrode Plate Electrode	60cm, 90cm, 110cm	$7,040.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ191	Lamitrode C Series Leads	Lamitrode C Series, 16 Channel, Model # 3289	Length = 60cm	$7,640.00

Octapolar

Boston Scientific Australia Pty Ltd

BS109	Precision SCS Eight Contact Leads	Eight contact percutaneous leads.	30cm to 70cm	$4,164.00

St. Jude Medical Australia Pty Ltd

SJ169	ANS Spinal Cord Stimulation System (SCS)	Lamitrode Dual 8 Plate Electrode Lead	One size only	$7,640.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ184	Lamitrode S Series Leads	Lamitrode S Series, 8 Channel, Model # 3283	Length = 30cm	$7,040.00

SJ185	Lamitrode S Series	Lamitrode S Series, 8 Channel, Model # 3286	Length = 60cm, 90cm, 110cm	$7,040.00

SJ188	Lamitrode C Series Leads	Lamitrode C Series, 8 Channel, Model # 3245	Length = 60cm, 90cm, 110cmm	$7,040.00

Octapolar, Percutanous

Medtronic Australasia Pty Ltd

MC690	Neurostimulation System - Octad Leads	Octad Standard Lead Kit without Percutaneous Extension 	45, 60 & 75cm	$4,370.00

Model 3777,

MC710	Neurostimulation System - Octad Leads	Octad Standard Lead Kit with Percutaneous extension 	45, 60 & 75cm	$4,230.00

model 3877

MC711	Neurostimulation System - Octad Leads	Octad Compact Lead Kit without Percutaneous Extension 	45, 60 & 75cm	$4,230.00

Model 3778

MC712	Neurostimulation System - Octad Leads	Octad Compact Lead Kit with Percutaneous Extension 	45, 60 & 75cm	$4,230.00

Model 3878

MC740	SCS Sub Compact Lead	Octad Sub Compact Lead Kit without Percutaneous 	45, 60 and 75cm	$4,230.00	$4,750.00

Extension Model 3776

Prostheses List by Category, Groups and Sponsor	Page 169 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC759	SCS Sub Compact Lead	Ocatd Sub Compact Lead Kit with Percutaneous 	45, 60 and 75cm	$4,230.00	$4,750.00

Extension Model 3876

St. Jude Medical Australia Pty Ltd

SJ161	ANS Spinal Cord Stimulation System (SCS)	Octrode Lead. 8 Electrode (thoracic or cervical placement).	30cm, 60cm, 90cm 110cm	$4,293.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Octopolar

St. Jude Medical Australia Pty Ltd

SJ137	Lamitrode Leads - Tripole 8, Tripole 8C and Exclaim	Tripole 8 (3208), Tripole 8C (3210) and Exclaim (3224)	Length - 60cm	$7,040.00

Quadripolar

St. Jude Medical Australia Pty Ltd

SJ186	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 3243	Length = 30cm	$7,040.00

SJ187	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 3246	Length = 60cm, 90cm, 110cm	$7,040.00

Quadripolar, Percutanous

St. Jude Medical Australia Pty Ltd

SJ162	ANS Spinal Cord Stimulation System (SCS)	Quattrode Lead. 4 Electrode.	30cm, 60cm, 90cm 110cm	$3,400.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ189	Axxess Permanent Lead	Axxess Quad Lead:  7mm - Model #4044, 9mm - Model 	Length - 45cm	$485.00

# 4054

SJ190	Axxess Permanent Lead	Axxess Quad permanent Lead:  7mm - Model #4143 & 	Length 30 - 60cm	$3,400.00

4146, 9mm- Model # 4153 & 4156

sixteen point leads

Boston Scientific Australia Pty Ltd

BS110	Precision SCS 16 Point Leads	16 contact point leads with independent current controlled.	50cm - 70cm	$8,000.00

Surgical

Medtronic Australasia Pty Ltd

MC135	Medtronic Australasia, Specify Lead Model 3998, 	DCI - Leads: Specify Lead Model 3998. (dual lead) 	18cm x 1	$4,150.00	When used in pain therapy - to be funded when

Active Implantable Stimulators & Ancillary Equipment	Materials - Silicone Rubber, Platinum/Iridium	 the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Prostheses List by Category, Groups and Sponsor	Page 170 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC361	2X4 Hinged Surgical Lead model 3999	Materials: silicone rubber, platinum-iridium, polyurethane	30, 45 & 60cm	$4,305.00

Trial or blank lead

Boston Scientific Australia Pty Ltd

BS118	Precision SCS Lead Blanks	Lead Blank	One Size Only	$200.00

BS119	Precision SCS Trial Leads	Trial Leads	30cm - 70cm	$485.00

Trial or blank lead, Percutanous

St. Jude Medical Australia Pty Ltd

SJ165	ANS Spinal Cord Stimulation System (SCS)	Trial Lead. Temporary Screening Lead	30cm, 60cm	$485.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Triple array

Medtronic Australasia Pty Ltd

MC776	Specify 5-6-5 Surgical Lead	Triple Array 16 Electrode Surgical Lead with Duraloc 	64.2mm	$8,000.00

Technology

4.5.3.2 Lead extension

Boston Scientific Australia Pty Ltd

BS111	Precision SCS Lead Extensions	Lead Extensions	25cm to 55cm	$1,510.00

Medtronic Australasia Pty Ltd

MC734	Quadripolar Stretch-Coil Extensions	Model 37082 Bifurcated, Silver and Silicone Rubber	20cm - 60cm	$2,135.00	$3,500.00

Octapolar

Medtronic Australasia Pty Ltd

MC688	Neurostimulation System - Extensions	1 x 8 Synergy Extension Kit Model 7472; 1 x 8 Extension 	20, 40 & 60cm	$2,000.00

Kit Model 37081

MC733	Quadripolar Stretch-Coil Extensions	Model 37083 Single, Silver and Silicone Rubber	20cm - 60cm	$1,948.00	$2,500.00

Quadripolar

Medtronic Australasia Pty Ltd

MC315	Low Profile Impedance Extension Kit for SCS Model 	Silicone rubber	10, 25, 40, 51, 66cm	$1,510.00	$2,138.00

7489

Prostheses List by Category, Groups and Sponsor	Page 171 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ178	A127 Lead Extension	A127 Lead Extension	15cm, 40cm, 60cm, 90cm	$1,510.00

Trial or blank lead, Percutanous

St. Jude Medical Australia Pty Ltd

SJ160	ANS Spinal Cord Stimulation System (SCS)	Lead Extensions - in addition to 3341, 3342, 3343, 3382 	60cm length	$1,510.00	When used in pain therapy - to be funded when

and 3383, additional model 3346 - Dual Quad Extension 	 the patient has undergone a multi-disciplinary

and 3386 - single octrode extension	assessment and trial of stimulation.

4.5.4 Accessory/ accessory kit

Boston Scientific Australia Pty Ltd

BS120	Precision SCS Revision Pack	Lead Revision Pack; Hex Wrench, Tunnelling Tool, 	One Size Only	$800.00

Insertion Needles in four(4) sizes

Medtronic Australasia Pty Ltd

MC694	Restore Rechargeable Neurostimulation System	External Patient Programmer Antenna Model 37092	One size only	$178.00

St. Jude Medical Australia Pty Ltd

SJ170	ANS Spinal Cord Stimulation System (SCS)	Boots, Connectors, Anchors, Strain Relief	One size only	$730.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

SJ173	ANS Spinal Cord Stimulation System (SCS) GENESIS	Communication Magnet Model 1210	One type only	$150.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation

Implantable Accessory

Boston Scientific Australia Pty Ltd

BS121	Precision SCS IPG Port	IPG Port Plug	One Size Only	$100.00

Medtronic Australasia Pty Ltd

MC687	Neurostimulation System - Accessory Kits	Lead Accessory Plug and Closed Boot Kit Model 3550-	.	$168.00

29

MC731	Titan Anchor	Silicone with titanium insert	One size only	$168.00

Prostheses List by Category, Groups and Sponsor	Page 172 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Revision Kit

Medtronic Australasia Pty Ltd

MC094	Stimulator Accessory Kit - Pisces Quad; Pisces Z Lead 	Model 3550-10 revision kit. 1 x boot, 1 x twistlock 	One size only	$545.00	When used in pain therapy - to be funded when

Revision Kit; Pisces Quad Revision Kit; Octad Revision 	anchor, 2 x silicone anchors, 1 x hex wrench, 1 x epidural 	 the patient has undergone a multi-disciplinary

Kit	needle 15 gauge, 1 x percutaneous extension (inline) with 	assessment and trial of stimulation.

set screws, 1 x ball-tipped (bent) 28cm stylet for Pisces-

Quad lead, 1 x ball-tipped (

Revision Kits

Medtronic Australasia Pty Ltd

MC689	Neurostimulation System - Lead Revision Kits	Octad Lead Revision Kits Model 3550-26 & 3550-27	30 & 45cm; 60 & 75cm	$540.00

4.6.1 Intrathecal Infusion Pump

4.6.1.1 Intrathecal Infusion Pump, constant / fixed flow rate

Medtronic Australasia Pty Ltd

MC061	Medtronic IsoMed Drug Infusion Pump.	Models 8472-20-03, 8472-20-05, 8472-20-10, 8472-	20ml, 35ml	$9,300.00

20-15. Models 8472-35-05, 8472-35-10, 8472-035-15.

Titanium

4.6.1.2 Intrathecal Infusion Pump, adjustable/ programmable flow rate

Medtronic Australasia Pty Ltd

MC313	Synchro Med II Pump	Model No's 8637-20 & 8637-40, Composition - Titanium	20 ml & 40 ml	$16,250.00

4.6.1.3 Separate patient programmer / therapy manager

Hospira Pty Limited

HO002	Crono Pump	Ambulatory infusion pump - Models:  Crono 50, Crono 	10-50 ml	$4,950.00

PCA and Crono APO-go II

Prostheses List by Category, Groups and Sponsor	Page 173 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.6.2 Intrathecal Infusion Pump Accessory

4.6.2.1 Intrathecal Infusion Pump Accessory kit

Medtronic Australasia Pty Ltd

MC064	Implantable Drug Pump Accessories	8590-8, 8590-9 - Synchromed catheter accessory kit -  	20cm; one size only;  38-60cm	$163.00

Radiopaque silicone, 8590RAC - Right angled connector -

Titanium, polyurethane,  8591-38, 8591-60, 8590-41

Tunnelling rods - Stainless Steel, 8575 Synchromed

connector (40 degree) with catheter access

4.6.2.5 Intrathecal Infusion Pump Catheter

Medtronic Australasia Pty Ltd

MC774	8578 Sutureless Pump Connector	Sutureless Pump Connector: Material radiopaque silicon 	One size only	$600.00

titanium, nylon

Revision Kit

Medtronic Australasia Pty Ltd

MC817	Medtronic Intrathecal Catheter Revision Kit (Proximal)	Revision kit to repair proximal end of intrathecal catheter 	66cm	$500.00

(8596SC)

MC818	Medtronic Intrathecal Catheter Revision Kit (Distal)	Revision kit to repair distal end of intrathecal catheter 	38.1cm	$500.00

(8598A)

Revision Kits

Medtronic Australasia Pty Ltd

MC741	Indura Intrathecal Catheter	Sutureless pump connector, Silicone, Titanium and Nylon	One size only	$820.00	$1,100.00

4.7 Neurostimulation Therapies for Antiseizure

Aurora BioScience Pty Ltd

RA001	VNS Therapy Pulse/Pulse Duo	Model 102/102R Generator	One size only	$12,670.00

RA002	VNS Therapy Lead	Model 302	One size only	$3,400.00

Prostheses List by Category, Groups and Sponsor	Page 174 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.8.1  Stent

4.8.1.1 Atherosclerotic stent

Boston Scientific Australia Pty Ltd

BS122	Wingspan Stent System	Wingspan Self Expanding Nitonol Stent and delivery 	Stent diameters: 2.5mm to 4.5mm; Stent 	$8,750.00

catheter	lengths: 9.0mm to 20.0mm

4.8.1.2 Neurovascular stent

Boston Scientific Australia Pty Ltd

BS079	Neuroform 2 Microdelivery Stent System	Self-expanding nitinol stent, 3fr delivery catheter, peelable 	Diameter: 2.5-4.5mm, Length: 10mm-30mm	$7,500.00

sheath, 2fr stabilising catheter, rotating haemostasis valve

(x2)

BS098	Neuroform Microdelivery Stent System	Nitinol Self-Expanding Stent, 3fr delivery catheter, peelable	Diameter 2.5 - 4.5 mmLength 10 - 30 mm	$7,500.00

sheath, 2fr stabilising catheter, rotating haemostasis valve

(x2)

ev3 Australia Pty Ltd

EE026	Solitaire	Solitaire Neurovascular Remodelling Device is the The 	Diameter (mm) x Length (mm) 04 x 15, 04 x 	$7,500.00	$10,000.00

Solitaire is a self-expanding, fully retrievable device which 	20, 06 x 20, 06 x 30

can be delivered and deployed by a single operator.

Medtel Australia Pty Ltd

ME185	Pharos Neurovascular Stent	Balloon expandable stent for treatment of intracranial artery	Diameter 2.0mm-5.0mm, length 8mm-40mm	$7,500.00

stenosis and aneurysm

4.8.2 Embolisation, Intravascular Neurointerventional coils

Boston Scientific Australia Pty Ltd

BS027	Guglielmi Detachable Coil (GDC)	Stretch-Resistant Bare Platinum Coil	2-20mm x 4-30cm	$1,400.00

BS081	GDC 360 Shaped Detachable Coil	Stretch-Resistant Bare Platinum Coil, 360 Shape	Length: 5cm to 40cm; Diameter: 2mm to 24mm	$1,640.00

BS100	Matrix Detachable Coils	PGLA-Coated, Stretch-Resistant, Platinum Coils	Length: 2cm to 40cm, Diameter: 2mm to 24mm	$1,850.00

ev3 Australia Pty Ltd

EE007	Nexus Detachable Coils	Nexus Tetris	Diam 3-19mm, Length 4-29cm	$1,850.00

Prostheses List by Category, Groups and Sponsor	Page 175 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EE008	Nexus Detachable Coils	Multi Diameter	Diam 4-10mm / Length 10-30cm	$1,250.00

EE017	Nexus Detachable Coil	Helix	Diameter 2-10mm / Length 1 - 30cm	$1,250.00

Johnson & Johnson Medical Pty Ltd

JJ485	Trufill DCS Orbit detachable coil	Helical Fill	2mm - 12mm, 2cm - 30cm	$1,400.00

JJ486	Trufill DCS Orbit detachable coil	Complex Standard	6mm - 20mm, 15cm - 30cm	$1,505.00

JJ487	Trufill DCS Orbit detachable coil	Complex	2mm - 12mm, 1.5cm - 30cm	$1,505.00

Medtel Australia Pty Ltd

ME070	Micrus ACT Platinum Microcoil Delivery System	Platinum Coil	Helical Stretch Resistant - 2mm x 1cm  - 	$1,400.00

10mm x 30cm

ME085	Micrus ACT Platinum Microcoil Delivery System	Platinum Coil	Helical - 2mm x 2cm - 10mm x 30cm	$1,700.00

ME086	Micrus ACT Platinum Microcoil Delivery System	Platinum Coil	Helical Soft Stretch Resistant - 2mm x 1cm - 	$1,700.00

4mm x 8cm

ME087	Micrus ACT Platinum Microcoil Delivery System	Platinum Coil	Spherical - 2mm x 2.5cm - 19mm x 30cm	$1,545.00

ME088	Micrus ACT Platinum Microcoil Delivery System	Platinum Coil	Straight - 4mm x 10cm - 6mm x 30cm	$1,445.00

ME133	Micrus ACT Platinum Microcoil Delivery System	Cerecyte	Helical Cerecyte - 2mm x 2cm - 10mm x 30cm	$1,850.00	$1,950.00

ME134	Micrus ACT Platinum Microcoil Delivery System	Cerecyte	Helical Soft Stretch Resistant Cerecyte - 2mm	$1,850.00	$1,950.00

x 1cm - 4mm x 8cm

ME135	Micrus ACT Platinum Microcoil Delivery System	Cerecyte	Spherical Cerecyte - 2mm x 2.5cm - 19mm x 	$1,850.00	$1,950.00

30cm

ME183	Micrus Presidio Microcoil	Sterile, single use, embolic coil used for the treatment of 	11.5-50cm (length)	$1,850.00	$2,700.00

cerebral aneurysms

ME184	Micrus Cashmere Microcoil	Sterile, single use, embolic coil used for the treatment of 	2.5 cm - 30 cm (length)	$1,950.00

cerebral aneurysms

N Stenning  & Co Pty  Ltd

NG035	MicroPlex Coil System	Kit includes delivery pusher, introducer sheath, MCS 	Coil Size 10, 18 - Loop Diameter 2-14mm, 	$1,505.00	$1,746.00

complex coil	16,18,20mm, Length 1-4cm, 6-13cm, 15-

21cm, 23-24cm, 26-28cm, 30-34cm, 38-

39cm, 43-44cm, 49-50cm

Prostheses List by Category, Groups and Sponsor	Page 176 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Penumbra Neuro Australia Pty Ltd

PN001	Penumbra Reperfusion Catheter	Intracranial reperfusion catheter	Outer diameter: 2.8, 3.4, 4.1FR; Working 	$1,560.00

length: 150, 150, 137cm

PN002	Penumbra Separator	Intracranial reperfusion separator	Outer diameter:0.56, 0.71, 0.89mm. Working	$2,100.00	$3,275.00

length: 155, 155, 142

William A Cook Australia Pty Ltd

WC061	Detachable Coil System	Microembolisation Coils - Platinum	011/018 2-20mm diameter, 2 - 50cm length	$785.90

*second generation, *hydrogel technology

N Stenning  & Co Pty  Ltd

NG038	MicroPlex Coil System, Hypersoft System	Microplex Hypersoft/Complex/Helical Coils	2mm D x 1cm L - 6mm D x 8cm L2mm D x	$1,505.00	$1,746.00

4cm L - 6mm D x 15cm L5mm D x 20cm

L - 20mm x 30cm L2mm D x 2cm L - 4mm

D x 10cm L5mm D x 15cm L - 10mm D x

30cm L

NG039	MicroPlex Coil System; Hydrocoil System	HES Helical Coils Hydrocoils	2mm D x 2cm L - 6mm D x 10cm L	$1,854.00	$2,088.00

NG040	MicroPlex Coil System; Hydrocoil System	HES Helical Coils Hydrocoils	2mm D x 3cm L - 10mm D x 20cm L	$2,266.00	$2,552.00

NG041	MicroPlex Coil System, Hydrocoil System	HES Helical Coils Hydrocoils	6mm D x 10cm L - 20mm D x 20cm L	$2,600.00

4.8.2.1 Embolisation, Intravascular Neurointerventional coils with guiding system

ev3 Australia Pty Ltd

EE021	Nexus Morpheus Detachable Coil	Platinum alloy coils enlaced with absorbable polymer 	3mm x 2,5,8cm; 4mm x 5 & 10cm; 5mm x 10	$1,950.00

microfilaments attached to a stainless steel guiding system 	 & 15cm; 6 x 12 & 20cm; 7mm x 15 &

with radiopaque positioning coils.	21cm; 8mm x 15 & 25cm; 9mm x 18 &

28cm; 10mm x 20 & 30cm

EE028	LRS Actuator	LRS Actuator is a sterile, hand held mechanical unit with a 	'Length 5.75", Diameter 1", weight 28 grams	$350.00

thumb slide that detaches the coil. When the slider is

retracted while the pusher is loaded, it releases the coil into

the targeted vaculature. Coils cannot be deployed without

the use of the actuator

Prostheses List by Category, Groups and Sponsor	Page 177 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4.8.3 vascular coil

Boston Scientific Australia Pty Ltd

BS021	Fibred Platinum Coils, Braided Occlusion Device 	Platinum Coil and Microcatheter Delivery System	Delivery device lengths up to 175cm.  Sizes of	$1,250.00

(BOD), Vortx, Vortx Diamond,Interlock Fibered IDC 	 coils Diameter 2mm - 30mm and lengths

Coils, Excelsior, Tracker, FasTracker, Turbotracker, 	2mm - 100mm.

Renegade, Spinnaker Elite

Barrier, Absorbable, Adhesion Prevention

Global Scientific Pty Ltd

GS289	DuraGen	Collagen dural graft matrix	2.5cm x 2.5cm	$330.00	$360.00

GS290	DuraGen Plus	Collagen dural graft matrix	2.5cm x 2.5cm	$330.00	$360.00

GS291	DuraGen	Collagen dural graft matrix	2.5cm x 7.5cm	$545.00

GS292	DuraGen Plus	Collagen dural graft matrix	2.5cm x 7.5cm	$545.00

GS293	DuraGen Suturable	Collagen dural graft matrix	2.5cm x 7.5cm	$545.00

GS294	DuraGen	Collagen dural graft matrix	5cm x 5cm	$605.00

GS295	DuraGen Plus	Collagen dural graft matrix	5cm x 5cm	$605.00

GS296	DuraGen Suturable	Collagen dural graft matrix	5cm x 5cm	$605.00

GS297	DuraGen	Collagen dural graft matrix	7.5cm x 7.5cm	$1,120.00

GS298	DuraGen Plus	Collagen dural graft matrix	7.5cm x 7.5cm	$1,120.00

GS299	DuraGen Suturable	Collagen dural graft matrix	7.5cm x 7.5cm	$1,120.00

GS300	DuraGen	Collagen Dural graft matrix	10cm x 12.5cm	$1,890.00

GS301	DuraGen Plus	Collagen dural graft matrix	10cm x 12.5cm	$1,890.00

GS302	DuraGen Suturable	Collagen dural graft matrix	10cm x 12.5cm	$1,890.00

Lifehealthcare Pty Ltd

LH001	Oxiplex Absorbable Adhesion Barrier Gel	Oxiplex Absorbable Adhesion Barrier gel (Oxiplex is a co-	3ml in sterile 3ml syringe	$1,300.00

polymer gel composed of carboxymethylcellulose and

polyethylene.)

Prostheses List by Category, Groups and Sponsor	Page 178 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Catheter, Infusion

Johnson & Johnson Medical Pty Ltd

JJ488	Prowler Infusion Microcatheters, Prowler Select LPES, 	Proprietary braid / coil reinforced technology.  Proximal 	Size:  150cm - 170cm.  Distal length:  5cm - 	$719.00

Prowler Select Plus, Prowler 14, Prowler Select pre-	braided shaft.  Prowler Select LPES infusion catheter.  	50cm

shaped - Coil delivery system	Prowler Select Plus infusion catheter.  Prowler 14 infusion

catheter

Clips, Aneurysm

National Surgical Corporation Pty Ltd

NI143	Medicon Aneurysm Clips	Aneurysym clips titanium, standard titanium, stainless steel	Large	$310.00

Dressing, hydrogel

Lifehealthcare Pty Ltd

LH369	DuraSeal Xact Spinal Dural Sealant	Xact Dural Sealant for spine )Packaged in sterile single use 	2ml vial	$800.00

disposable tray with MicroMyst Applicator & precurser

syringes)

Group 1- Fixation: Bone Screw

Group 1a - Bone Screw, Monoaxial

Austspine Pty Ltd

AJ015	Denali Spinal System / Monoaxial Pedicle Screw	Monoaxial Pedicle Screw	Diameter: 4.5, 5.5, 6.5, 7.5, 8.5mm and 	$930.00

Length:

20,25,30,35,40,45,50,55,60,65,70,75,80,

85mm

B Braun Australia Pty Ltd

BB226	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 4.5mm & 5mm  - all lengths 25 - 	$930.00	$1,200.00

60mm

Prostheses List by Category, Groups and Sponsor	Page 179 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB227	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 6.0mm, 7.0mm & 8.0mm - all 	$930.00	$1,200.00

lengths 25 - 60mm

Global Manufacturing Technology Pty Ltd

GM034	Optimal Spinal System	Pedicle Screw Monoaxial Type	4 x 25 to 8 x 55mm	$930.00

Global Orthopaedic Technology

GO089	Incompass	Thoracolumbar Fixation System, Fixed Angle Screw Open	4.5 - 8.5mm	$930.00

GO090	Incompass	Thoracolumbar Fixation System, Fixed Angle Screw 	4.5 - 8.5mm	$930.00

Closed

GO105	OctaFix	Occipital Cervical Plating System	Closed Screw 4mm	$900.00	$1,004.00

Johnson & Johnson Medical Pty Ltd

DP306	Moss Miami (Stainless Steel)	Monoaxial Screws	5 - 8mm x 25 - 60mm	$930.00

DP407	Moss Miami (Titanium)	Monoaxial Screw	5 - 8mm x 25 - 60mm	$930.00

DP489	Isola Paediatric System (Stainless Steel)	Cable Wire Screw	4.75 - 5.50mm x 25 - 30mm	$610.00

DP576	Kaneda Anterior Scoliosis System  S/S	Open Screw - Standard or Blunt	3/16" - 6.25mm x 25 - 50mm	$930.00

DP847	Moss Miami 4mm Anterior System (SS)	Screws - Monoaxial	6mm x 25 - 55mm	$930.00

DY078	Kaneda SR Anterior	Kaneda SR Anterior Open Screw	1/4"-6.25mm x 25-60mm, 3/16"	$930.00

DY309	Frontier Anterior Scoliosis System (Titanium)	Bone Screws	5.5 x 25-40mm, 6.5 x 25-60mm, 7.5 x 35-	$930.00

60mm

DY401	Monarch Monoaxial Pedicle Screw	Monarch Monoaxial Pedicle Screw	4.75mm - 8.5mm x 25 to 80mm length	$930.00

DY441	Expedium Spine System	Monoaxial Screw	4.35 to 10mm diameter x 20-100mm length	$930.00

JJ645	Monoaxial Screw - Expedium Anterior Spine System	Monoaxial Screw - Titanium	Diameters 5-7mm x Lengths 20-60mm	$930.00

JJ772	Anterior Isola System	Open Monoaxial Screw	1/4" x 5.5 - 7mm x 20 - 55mm	$930.00

LSS Surgical Pty Limited

LS005	Solas Spinal System	Monoaxial Pedicle	4 x 25mm to 8 x 55mm	$930.00

LS021	SOCORE Spinal System - Monoaxial	Pedicle Screw - Monoaxial	Diameter 45mm 25mm to 40mm Length. 	$930.00

Diameter 5mm 30mm to 50mm Length.

Diameter 6mm 30mm to 55mm Length.

Diameter 7mm 30mm to 50mm Length.

Diameter 8mm 40mm

Prostheses List by Category, Groups and Sponsor	Page 180 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC402	CD Horizon	Pedicle Screws	Diameter 5.5 - 7.5  Lengths 25 - 80mm	$930.00	$1,037.00

MC503	CD Horizon	Fixed Angle Screw	25 - 90mm	$930.00	$1,037.00

MC860	Silo	Fixed Screw	4.5 - 8.5mm Diameter	$930.00

Nuvasive Australia and NZ  Pty Ltd

NV001	SpheRx	Cannulated Fixed Axis Screw	4.5 - 8.5mm diameter	$990.00

25 - 65mm length

Orthotech Pty Ltd

OH037	Synergy/Polaris Spinal System	Open/Closed Screws	5.5 to 8.0mm dia	$930.00	$1,300.00

OH051	Synergy Spinal System	Iliac Screw	6.0 - 10.0mm	$930.00	$1,300.00

OH210	Array Spinal System	Titanium Alloy Modular Spinal System - fixed screw	5.5 - 7.5mm x 30 - 55mm	$930.00	$1,300.00

OH357	Novel Mono screw	Mono axial pedicle screw	4.0-8.5	$900.00	$1,050.00

Scient'x Australia

SX026	MX System Open Monoaxial Screw	Open monoaxial pedicle screw	Diameter 5.5mm; 6.2mm; 7mm - length 	$930.00

35mm; 40mm; 45mm; 50mm

SX028	MX System Closed Monoaxial Screw	Closed monoaxial pedicle screw	Diameter 5.5mm; 6.2mm; 7mm - Length 	$930.00

35mm; 40mm; 45mm

Stryker Australia Pty Ltd

HW385	Xia Spine System	Monoaxial Screw	Dia 4.5 - 8.5mm Length 25 - 60mm	$930.00	$1,103.00

Zimmer Pty Ltd

ZI476	Silhouette Spinal System Implants	Fixed Screw with Tab Extensions	5.5 x 25mm to 8.5 x 60mm	$930.00

ZI669	Incompass	Thoracolumbar Fixation System, Fixed Angle Screw Open	4.5 - 8.5mm	$930.00

ZI670	Incompass	Thoracolumbar Fixation System, Fixed Angle Screw 	4.5 - 8.5mm	$930.00

Closed

ZI684	OctaFix	Occipital Cervical Plating System	Closed Screw 4mm	$900.00	$1,004.00

Prostheses List by Category, Groups and Sponsor	Page 181 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI702	Java screw system	Monoaxial pedicle screw	diam 4.5 lg 35, 40, 45; diam 5 lg 35, 40,45, 	$930.00	$1,275.00

50,55, 60; diam 5.5 lg 35, 40, 45, 50, 55;

diam 6 lg 35, 40, 45, 50, 55, 60; diam 6.5 lg

35, 40, 45, 50, 55, 60; diam 7 lg 35, 40, 45,

50, 55, 60; diam 7.5 lg 35, 40, 55, 60; diam 8

lg 35, 40, 45, 50, 55, 60

1 - System

Synthes Australia Pty Ltd

SY175	Universal Spine System (USS)	Pedicle Screw - USSII	25 - 140mm	$1,215.00	$1,350.00

SY192	Universal Spine System (USS)	Pedicle screw	Length 70 - 140mm	$1,215.00	$1,517.00

2 - Cannulated

Global Orthopaedic Technology

GO108	OctaFix	Occipital Cervical Plating System	Bone Screw 3.5 - 4.0mm	$960.00

Orthotech Pty Ltd

OH355	Novel Cannulated Mono screw	Mono axial cannulated pedicle screw	5.5-8.5	$960.00	$1,050.00

Zimmer Pty Ltd

ZI687	OctaFix	Occipital Cervical Plating System	Bone Screw 3.5 - 4.0mm	$960.00

3 - With Cap / Cover Plate

Orthotech Pty Ltd

OH354	Novel Reduction Mono screw	Mono axial REDUCTION pedicle screw	5.5-8.5	$900.00	$1,450.00

Scient'x Australia

SX001	Isobar TTL	Monoaxial Screw	D: 4.5 - 8mm, L: 25 - 50mm	$990.00

4 - Closed

Johnson & Johnson Medical Pty Ltd

DP449	Kaneda SR (Smooth Rod) Anterior  (TI)	Closed Screw	1/4" - 6.25mm x 25 - 60mm	$930.00

DP577	Kaneda Anterior Scoliosis System  S/S	Closed Screw  - Standard or Blunt	3/16" - 6.25mm x 25 - 60mm	$930.00

JJ773	Anterior Isola System	Closed Monoaxial Screw	1/4" x 5.5 - 7mm x 20 - 55mm	$930.00

Lifehealthcare Pty Ltd

LH247	Blackstone - Spinal Fixation System - Mono Axial 	Composition - Titanium	5.5mm x 40mm, 5.5mm x 45mm, 6.5mm x 	$930.00

Screws	40mm and 6.5mm x 45mm

Prostheses List by Category, Groups and Sponsor	Page 182 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC823	CD Horizon	Legacy Fixed Iliac Screw	6.5mm to 8.5mm Diameter	$1,188.00

c - Complex

Medtronic Australasia Pty Ltd

MC636	CD Horizon	Eclipse Dual Head Screws	20-60mm	$1,037.00

MC862	Silo	Sagittal Screw	4.5 - 8.5mm Diameter	$1,037.00

Group 1b - Bone Screw, Polyaxial

Austspine Pty Ltd

AJ001	Preference II Pedicle Screw and Reduction screw/ 	Polyaxial Pedicle Screw and Reduction Screw	Length 25mm-60mm, Diameter 4.5mm-	$1,330.00

Preference- II pedical screw system	8.2mm

AJ016	Denali Spinal System / Polyaxial Pedicle Screw	Polyaxial Pedicle Screw	Diameter:  4.5, 5.5, 6.5, 7.5, 8.5mm and 	$1,330.00

Length: 25,30,35,40,45,50,55,60,65mm

AJ022	Smartloc Spinal Fixation System/Polyaxial Pedicle Screw	Polyaxial Pedicle Screw and Reduction screw	Length 30mm - 50mm Diameter 4.5mm, 	$1,330.00

& Reduction Screw	5.5mm, 6.5mm, 7.0mm, 8.0mm

AJ025	Mesa Spinal System / Polyaxial Pedicle Screw	Polyaxial Pedicle Screw	4.5, 5.5, 6.5, 7.5, 8.5mm	$1,330.00	$1,500.00

AJ035	Capsian OCT Spinal  System -  Mini Mesa Polyaxial 	cervico-thoracic posterior rigid fixation system	Diameter: 3.5mm and 4.0mm screws	$1,330.00

Screw	Length: 10mm - 20mm (2mm increments)

25mm - 50mm (5mm increments)

B Braun Australia Pty Ltd

BB224	S4 Spinal System	Polyaxial Screw - titanium various sizes	All sizes	$1,330.00	$1,550.00

BB225	S4 Spinal System	Polyaxial Screw - Titanium various sizes	Diameter 6.0mm, 7.0mm & 8.0mm - all 	$1,330.00	$1,550.00

lengths 25 - 60mm

Global Manufacturing Technology Pty Ltd

GM035	Optimal Spinal System	Pedicle Screw-Poly Type	5 x 30 to 8 x 55mm	$1,330.00

GM068	BacFix (Thoracolumbar System)	Multi axial bone screw  - Nitinol	5 - 8mm x 30 - 60mm	$1,330.00

GM074	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - Titanium alloy	5 - 8mm x 30 - 60mm	$1,330.00

Prostheses List by Category, Groups and Sponsor	Page 183 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Orthopaedic Technology

GO080	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 4.00mmx22mm	$1,330.00

GO088	Incompass	Thoracolumbar Fixation System, Polyaxial Screw Open	5.5 - 7.5	$1,330.00

Johnson & Johnson Medical Pty Ltd

DP307	Moss Miami (Stainless Steel)	Polyaxial Screws	4.35 - 8mm x 25 - 90mm	$1,330.00

DP408	Moss Miami (Titanium)	Polyaxial Screw	5 - 8mm x 25 - 60mm	$1,330.00

DP848	Moss Miami 4mm Anterior System (SS)	Screws - Polyaxial	6mm x 25 - 55mm	$1,330.00

DY171	Monarch Spinal System	Pedicle Screws - Polyaxial	4.75 - 8.5 mm x 30 - 55mm	$1,330.00

DY339	Summit Cervical Rod System	Mini Polyaxial Screw Standard or High	3.5mm x 12-50mm	$1,330.00

DY431	Expedium Spine System	Si Polyaxial Screw	4.35 - 11mm x 20 - 100mm	$1,330.00

DY440	Expedium Spine System	Di Polyaxial Screw	4.35 -10mm diameter 20 -100mm length	$1,330.00

DY442	Summit SI System	Polyaxial Screw - Mini Favoured Angle	3.5 or 4mm diameter x 12-48mm length	$1,330.00

JJ586	Expedium	Uni-Planar deformity correction (Titanium)	4.35-10mm Diameter, 20- 100mm Length	$1,330.00

JJ593	Mountaineer OCT Spinal System	CT Minipolyaxial Screw - Favoured Angle and 	3.5-4.35mm x 12 - 50mm	$1,330.00

Medial/Lateral

JJ738	Expedium Spine System	DI Favoured Angle Reduction Tab Polyaxial Screw	4.35-7mm x 20-65mm	$1,330.00

LSS Surgical Pty Limited

LS006	Solas Spinal System	Polyaxial Pedicle	4 x 30mm to 8 x 55mm	$1,330.00

LS015	SOCORE Spinal System - Pedicle Screws	Pedicle Screw- Polyaxial. Pedicle Screw - Reduction	Diameter 4mm 25mm to 40mm Length. 	$1,330.00

Diameter 5mm 30mm to 50mm Length.

Diameter 6mm 30mm to 55mm length.

Diameter 7mm 30mm to 50mm Length.

Diameter 8mm 40mm

Medtronic Australasia Pty Ltd

MC501	CD Horizon	Multi-Axial screw (Stainless Steel)	25 - 80mm	$1,330.00	$1,422.00

MC502	CD Horizon	Multi-axial screw (Titanium)	25 - 80mm	$1,330.00	$1,380.00

MC545	Vertex Spinal System	Screws	Dia 3.5 - 4.0mm; length 6 - 24mm	$1,330.00	$1,644.00

Prostheses List by Category, Groups and Sponsor	Page 184 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC579	CD Horizon	Spondylolisthesis Screw	Diameter: 4.5 - 7.5, Length: 25mm - 50mm	$1,330.00	$1,655.00

MC675	CD Horizon	Legacy Screw	Diameter 4.0 - 9.5mm	$1,330.00	$1,530.00

MC861	Silo	Mutliaxial Screw	4.5 - 8.5mm Diameter	$1,330.00

Orthotech Pty Ltd

OH207	Altius Occipito-Cervico-Thoracic (OCT) System	Screws	8mm to 32mm	$600.00

OH211	Array/Ballista Spinal System	Titanium Alloy Modular Spinal System - multiaxial screw	5.5 - 7.5mm x 30 - 55mm	$1,330.00	$1,400.00

OH358	Novel Mono screw	Poly axial pedicle screw	4.0-8.5	$1,330.00

Scient'x Australia

SX020	TTC-screw	Polyaxial screws	$1,330.00

SX027	MX System Polyaxial Screw	Polyaxial Pedicle Screw	Diameter 5.5mm; 6.2mm; 7mm - Length 	$1,330.00

35mm; 40mm; 45mm; 50mm

Stryker Australia Pty Ltd

HW384	Xia Spine System	Polyaxial Screw	Dia 4.5 - 8.5mm Length 25 - 60mm	$1,330.00	$1,605.00

SK225	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Cortical Polyaxial screw Size 3.5mm Length 	$1,330.00

10mm-24mm (in 2mm increments); Cortical

Polyaxial screw Size 4.0mm Length 10mm-

26mm (in 2mm increments); Cortical Polyaxial

screw Size 4.0mm Length 26mm-46mm (in

4mm increments)

Synthes Australia Pty Ltd

SY007	Click'X Spinal Fixation System	Pedicle Screw: Preassembled	Length 25-80mm	$1,330.00

SY289	USS llio-Sacral Fixation system	Polyaxial screw	20mm to 140mm	$1,330.00	$1,390.00

SY309	Axon Spinal System	Variable axis screw	3.0mm - 4.5mm diameter, 4mm to 60mm 	$1,330.00

length

SY337	Universal Spinal System (USS)	Polyaxial Pedicle Screw, titanium	4.0mm to 9.00mm	$1,330.00	$1,700.00

SY441	Synapse	Posterior Cervical Polyaxial Screw System	3.5mm-4.5mm Diameter; 8mm-50mm Length	$1,330.00

SY447	Spinal Fixation System	Universal Reduction Screw	4.0mm - 9.0mm Diameter; 20mm-100mm 	$1,330.00	$1,400.00

Length

Prostheses List by Category, Groups and Sponsor	Page 185 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY460	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar 	Diameter, 4.0mm to 10mm.	$1,330.00	$1,400.00

and Sacral Spine	Length, 20mm to 120mm

Zimmer Pty Ltd

ZI475	Silhouette Spinal System Implants	Polyaxial Screw Assembly with Tabs	5.5 x 25mm to 8.5 x 60mm	$1,330.00

ZI514	Optima Spinal System - Polyaxial Pedicle Screw System	Polyaxial Pedicle Screw System	$1,330.00

ZI616	SEQUOIA PEDICLE SCREW SYSTEM	Polyaxial Screw	4.5mm - 8.5mm dia, 25mm-60mm length	$1,330.00

ZI637	BacFix (Thoracolumbar System)	Multi axial bone screw  - Nitinol	5 - 8mm x 30 - 60mm	$1,330.00

ZI643	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - Titanium alloy	5 - 8mm x 30 - 60mm	$1,330.00

ZI660	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 4.00mmx22mm	$1,330.00

ZI668	Incompass	Thoracolumbar Fixation System, Polyaxial Screw Open	5.5 - 7.5	$1,330.00

ZI705	Java screw system	Poly axial screw	TL pedicle screw diam 4 lg 35; diam 5 lg 35, 	$1,330.00	$1,475.00

40, 45, 50, 55; diam 6 lg 35, 40, 45, 50, 55;

diam 7 lg 35, 40, 45, 50, 55; diam 5.5 lg 35,

40, 45, 50, 55, 60; diam 6 lg 60; diam 6.5 lg

35, 40, 45, 50, 55, 60; diam 7 lg 60; diam 7.5

lg 35, 40, 45, 50, 55, 60

1 - System

B Braun Australia Pty Ltd

BB011	Spine System Evolution	Screw	Dia 5 - 8mm, length 30 - 55mm	$665.00

Orthotech Pty Ltd

OH047	Synergy/Polaris Spinal System	Variable Locking Screws	4.75-8.5mm	$665.00	$950.00

Synthes Australia Pty Ltd

SY179	Spinal Fixation System	Pedicle Screw (without head)	L:30-100mm, D:4-9mm	$665.00

SY379	Universal Spine System (USS)	USS II Polyaxial/Lotus Screw or Head	Head 5mm / 6mmScrew diameter 	$665.00	$850.00

4,5,6,7,8mm, Length - 20-110mm

2 - Cannulated

Austspine Pty Ltd

AJ033	Denali cannulated polyaxial screw	Cannulated polyaxial pedicle screw	Diameter:  5.5mm, 6.5mm and 7.5mm  	$1,330.00

Length:  35 to 55mm

Prostheses List by Category, Groups and Sponsor	Page 186 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Orthopaedic Technology

GO102	Pathfinder	Minimally invasive pedicle fixation system	Cannulated Polyaxial Screws 6.5 - 7.5mm	$1,390.00	$1,530.00

Johnson & Johnson Medical Pty Ltd

JJ522	Viper2 Spine System	Polyaxial Screw, with and without tab	35 - 55mm	$1,390.00

Medtronic Australasia Pty Ltd

MC439	CD Horizon	Cannulated Pedicle Screw	20mm - 80mm	$1,390.00	$1,650.00

MC586	CD Horizon Sextant Percutaneous Cannulated Multi 	Cannulated titanium percutaneous multi axial screw	Dia 3.5 to 9.5mm, Length 15 to 65mm	$1,390.00	$1,582.00

Axial Screw

MC736	Vertex Max Cannulated Screw	Posterior cannulated cervical screw	50-56mm Diameter 4.0mm	$1,390.00	$1,639.00

Nuvasive Australia and NZ  Pty Ltd

NV019	System:  SphRX Component: Cannulated Polyaxial 	Cannulated Polyaxial Screw, Fixation Bone Screws	45-7.5mm Diameter; 25-80mm Length	$1,390.00

Screw

Orthotech Pty Ltd

OH356	Novel Cannulated poly screw	Poly axial cannulated pedicle screw	5.5-8.0	$1,390.00

Stryker Australia Pty Ltd

SR042	Xia Precision System	Screw, Cannulated, Multi Axial, Titanium	5.5mm - 7.5mm x 35mm - 55mm	$1,390.00	$1,700.00

Synthes Australia Pty Ltd

SY336	Click'x Spinal System	Cannulated Screws	4.0mm to 9.0mm	$1,390.00

SY461	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar 	Diameter, 4.0mm to 10mm.	$1,390.00	$1,790.00

and Sacral Spine, Cannulated	Length, 20mm to 120mm

Zimmer Pty Ltd

ZI681	Pathfinder	Minimally invasive pedicle fixation system	Cannulated Polyaxial Screws 6.5 - 7.5mm	$1,390.00	$1,530.00

3 - With Cap / Cover Plate

Lifehealthcare Pty Ltd

LH240	Spinal Fixation System	Multi screw - Titanium	5.5 x 35mm up to 55mm in 5mm increments; 	$1,330.00

6.5 x 35mm up to 60mm in 5mm increments;

7.5 x 35mm up to 60mm in 5mm increments

LH280	Blackstone - Posterior Cervical System	Mini-Multi-Axial Screw	3.5-4mmx10-30mm (2mm increments)	$1,330.00

Prostheses List by Category, Groups and Sponsor	Page 187 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH353	Novel Reduction Poly Screw	Poly axial REDUCTION pedicle screw	5.5-8.5	$1,330.00

Scient'x Australia

SX002	Isobar TTL	Polyaxial Screw	D: 4.5 - 8mm, L: 30 - 55mm	$1,330.00

3 - With Cap / Cover Plate, 2 - Cannulated

Lifehealthcare Pty Ltd

LH310	ICON Modular Spinal Fixation System	Screw	4.5mm - 8.5mm x 25-80mm	$665.00

4 - Closed

Medtronic Australasia Pty Ltd

MC822	CD Horizon	Legacy Multiaxial Iliac Screw	6.5mm to 8.5mm Diameter	$1,330.00

C - Complex

Medtronic Australasia Pty Ltd

MC749	Legacy HA Coated Screw	Hydroxyapatite coated pedicle screw	4.5mm - 8.5mm	$1,330.00	$1,758.00

Group 1c - Bone Screw, Standard

Austofix

AX060	Spider Cervical Plating System - Spider Screw	Titanium, Self Tapping and Self Drilling	4.0 - 4.25mm, lengths 12-16mm	$200.00

Austspine Pty Ltd

AJ031	Cayman Thoracolumbar Plate System / Bone Screw	Self tapping screw that lags plate to bone and forms an 	Length: 20mm to 54mm  Diameter:  6mm and 	$250.00

autogenic lock with plate.  Available in two diameters and a	7mm

variety of lengths

Global Manufacturing Technology Pty Ltd

GM025	Maxima/Optima Anterior Cervical Plate System	Cancellous Bone Screws	3.5 x 10mm to 20mm; 4.0 x 10mm to 20mm	$200.00

GM060	Maxima/Optima Anterior Cervical Plate System	Pedicle Screw - Mono Axial Type	4.5 mm -8.5mm Length 25mm-60mm	$150.00	$900.00

GM077	AcuFix	Cancellous bone screw - Anterior cervical plate system - 	4mm x 10 - 18mm	$150.00	$195.00

Titanium

GM078	AcuFix	Self tapping wide root screw - Anterior cervical plate 	4mm x 10 - 18mm	$150.00	$195.00

system - Titanium

GM079	AcuFix	Rescue screw - Anterior cervical plate system - Titanium	4.5mm x 10 - 18mm	$150.00	$195.00

Prostheses List by Category, Groups and Sponsor	Page 188 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Orthopaedic Technology

GO107	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm	$150.00	$880.00

Johnson & Johnson Medical Pty Ltd

DP830	Profile Anterior Thoracolumbar Plate System	Cancellous Screw	6mm x 20 - 60mm	$250.00

DP833	Profile Anterior Thoracolumbar Plate System	Graft Screw	15 - 30mm  	$250.00

DY110	Carbon Fibre Cages	Stackable Cage Titanium Interface Screws	M4 / M5	$250.00

DY300	Slim-loc Anterior Cervical Plate System	Screws self tapping	4.5 x 12 - 26mm	$200.00	$230.00

DY301	Slim-loc Anterior Cervical Plate System	Screws - Large Diameter	4.8 x 12-16mm	$200.00	$230.00

DY302	Slim-loc Anterior Cervical Plate System	Screws - Self Drilling	4.5 x 12-18mm	$200.00	$230.00

DY333	Summit Cervical Rod System	Occipital Bone Screw	4.5 - 5.25 Dia x 6 -16mm length	$220.00

DY338	Summit Cervical Rod System	Cancellous Bone Screw	3.5-4.5mm x 12-48mm	$150.00	$200.00

DY452	Swift Spine System	Titanium Anterior Cervical Plate System - 3.8mm Self-	10 - 18mm	$200.00	$539.00

Drilling/Tapping Screw

DY453	Swift/Eagle Anterior Cervical System	Titanium Self Drilling/Self Tapping Screw	4.2mm x 10-18mm	$200.00	$539.00

DY454	Swift Spine System	Titanium Anterior Cervical Plate System - 3.8mm Bicortical	10 - 28mm	$200.00	$539.00

Screw

DY455	Swift Spine System	Titanium Anterior Cervical Plate System - Graft Screw	10mm	$200.00	$539.00

JJ690	Mountaineer OCT Spinal System - OC screw	Occipital - titanium bone screw	4.5 - 5.25 x 6 - 16	$240.00

Lifehealthcare Pty Ltd

LH194	Blackstone Medical Inc Anterior Cervical Plate System	Bone Screw, Primary/Rescue Screw	12, 14, 16mm	$200.00

LH275	Blackstone - Posterior Cervical System	Occipital Screw	6, 8, 10, 12, 14mm	$220.00

LH325	Lumbar Screw	ECF in PEEK optima	32, 36, 40, 44, 48, 52, 56, 60, 65mm	$250.00

LH364	Unity Lumbar Plate	Unity Bone Screw	6-7mm	$250.00	$300.00

LH398	Blackstone Medical ACP Bone Screw	Titanium Alloy Bone Screw	4.1mm x 10mm - 18mm. 4.5mm x 10mm - 	$200.00

18mm

LSS Surgical Pty Limited

LS011	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System - 4mm Self-	12-20mm	$200.00	$800.00

Drilling/Tapping Screw

Prostheses List by Category, Groups and Sponsor	Page 189 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LS012	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System - 4.35mm Slef-	12-20mm	$200.00	$800.00

Drilling/Tapping Screw

LS018	MATRIS Cervical Plate System	Cervical Screws	4mm 10mm to 24mm	$200.00	$800.00

LS019	MATRIS Cervical Plate System	Cervical Screws	4.5mm 12mm to 22mm	$200.00	$800.00

Medtronic Australasia Pty Ltd

MC296	Vertex Spinal System	Occipital Screws	 3.0 - 5.0 mm diameter, 4 - 30 mm length	$220.00	$250.00

MC310	Centerpiece	TiMesh LP	Screw	$150.00	$250.00

MC343	Venture Self Drilling Screws	single or multi level plate construct, titanium alloy	4.0mm x 8mm - 21mm ; 4.5mm x 8mm -	$200.00

21mm variable Angled

MC344	Venture Self Drilling Screws	single or multi level plate construct, titanium alloy	4.0mm x 8mm - 21mm, 4.5mm x 8mm - 	$200.00

21mm Fixed Angled

MC347	Venture Self tapping Screws	Single or multi level plate construct, titanium alloy.	4.0mm x 8mm - 21mm; 4.5mm x 8mm - 	$200.00

21mm Variable Angled

MC348	Venture Self tapping Screws	Single or multi level plate construct, titanium alloy.	4.0mm x 8mm - 21mm; 4.5mm x 8mm - 	$200.00

21mm Fixed Angled

MC423	Atlantis	Fixed Angle Cancellous Screw	10-20mm	$200.00

MC424	Atlantis	Variable Angle Cancellous Screw	10-20mm	$200.00

MC482	Axis Cervical Plating System	Screw: Cancellous	6 - 24mm	$250.00

MC483	Axis Cervical Plating System	Screw: Cortical	26 - 54mm	$150.00	$250.00

MC511	Premier Anterior Cervical Plate System	Screws	10 20mm	$200.00

MC611	Vantage	Vantage Plates and Screws; Thoracic Screw	5.5 x 15-50mm	$250.00	$582.00

MC613	Vantage	Vantage Plates and Screws; ATL Screw	6.5 x 30-55mm	$250.00	$642.00

MC656	Pyramid	Pyramid Bone Screws	6.5mm Diameter, 20 -60mm length in 5mm 	$250.00	$430.00

increments

MC664	Xantus	Xantus Bone Screws	6.5mm Diameter, 20 - 60mm length in 5mm 	$250.00	$378.00

increments

Orthotech Pty Ltd

OH053	Interpore Bone Plate System	TPS Screw	14 - 22mm	$250.00	$850.00

OH064	Anterior Cervical Plate System	Titanium Cancellous Bone Screw	4 - 20mm	$200.00	$260.00

OH241	Vuelock (Anterior Cervical Plate)	Vuelock Bone Screws	12mm - 16mm	$200.00	$350.00

OH253	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) fixation screws	Screws/ Revision Screws - dia 4.4mm, length 	$200.00	$350.00

11 - 18mm

Prostheses List by Category, Groups and Sponsor	Page 190 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH255	Hartshill	Cancellous bone screws for Horseshoes/STALIF each	6.5mm diam - 25 - 30mm length, 5.5mm diam	$250.00	$320.00

- 25 - 30mm length

OH256	Cancellous Screws	For use with Stalif Implants	5.5mm x 25mm (for use with 37mm Stalif), 	$250.00	$380.00

6.5mm x 30mm (for use with 41/45mm Stalif),

6.5mm x 25mm (for use with 41/45mm

Stalif). Pack of 4 screws.

OH304	ADD / ADDplus	Cancellous bone screw, titanium. The cancellous bone 	length = 12,14,16,18,20,24,26mm	$200.00	$470.00

screw is used for the biocortical fixation. The outer

diameter is 4mm.

Scient'x Australia

SX012	Stella	Screw	D: 4-4.5mm, L: 12-20mm	$200.00

Stryker Australia Pty Ltd

HW393	Xia Spine System	Bone Screw	One size only	$250.00

SK223	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Cortical Plate screw Size 3.5mm (Length 	$150.00

6mm-24mm in 2mm increments); Cortical

Plate screw Size 4.0mm (Length 6mm-24mm

in 2mm increments); Cortical Plate screw Size

4.0mm (Length 30mm-54mm in 4mm

increments)

SK489	THOR Anterior Lumbar Screw	Anterior Lumbar Plate Screw: Standard and Compression	Dia 6mm  Length 22mm to 37mm	$250.00

ST914	REFLEX  Anterior Cervical Plating System	Screw	Diameter 4 - 4.5mm lengths 10mm - 20mm	$200.00	$261.00

Synthes Australia Pty Ltd

SY187	Cervifix Posterior Cervical  System	Screw	Dia 3.2 - 4.5mm, Length 6 - 55mm	$150.00

SY299	Vectra Anterior Spinal System	Locking Screw	10mm to 26mm	$200.00	$300.00

SY334	Arch Fixation System	Screws, titanium	2.0mm - 2.4mm screws, 4 to 12mm	$150.00	$181.00

SY339	Vectra T Anterior Spinal System	Self tapping, self drilling Titanium	4.0/4.5mm. 12mm to 20mm	$250.00	$300.00

SY362	Universal Spine System (USS)	Pedicle Hook Screw	Length 20 - 40mm	$250.00

SY381	Axon Occipital Fusion System	Occipital Screws 4.5mm / 5.0mm diameter	Length 4 - 18mm	$220.00

Titanium Alloy

Prostheses List by Category, Groups and Sponsor	Page 191 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI487	Trinica Screw	Titanium Screws, fixed and variable angle.	4.2mm x 12/14/16/18mm; 4.6mm x 	$250.00

12/14/16/18mm

ZI517	Trinica Anterior Lumbar/Sacral Screw	Screw, Titanium, Fixed or Variable Axis	22 to 34mm lengths	$250.00

ZI646	AcuFix	Cancellous bone screw - Anterior cervical plate system - 	4mm x 10 - 18mm	$150.00	$195.00

Titanium

ZI647	AcuFix	Self tapping wide root screw - Anterior cervical plate 	4mm x 10 - 18mm	$150.00	$195.00

system - Titanium

ZI648	AcuFix	Rescue screw - Anterior cervical plate system - Titanium	4.5mm x 10 - 18mm	$150.00	$195.00

ZI686	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm	$150.00	$880.00

ZI701	Java screw system	Secondary sacral screw	Size 6 L 35	$120.00	$1,575.00

1 - System

Johnson & Johnson Medical Pty Ltd

DP046	VSP System (Titanium)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	$600.00

DP473	Isola System (Stainless Steel)	Iliac Screw	6.25 & 7.0mm	$570.00

DP492	Isola System (Titanium)	Iliac Screws	6.25mm & 7.0mm	$570.00

DP831	Profile Anterior Thoracolumbar Plate System	Cancellous Bolt	7mm x 25 - 60mm	$600.00

DY121	VSP System (Stainless Steel)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	$600.00	$760.00

DY170	Monarch Spinal System	Bolts - Pedicle & Reduction	4.75 - 8.5 mm x 30 - 55mm	$600.00

Medtronic Australasia Pty Ltd

MC384	Colorado 2	Pedicle Screw	Diameter 5.5 - 7.5 Lengths 30 - 70mm	$600.00	$933.00

MC458	TSRH 3D 	Screw	4.5 -8.5mm diameter	$600.00	$760.00

MC459	TSRH 3D 	Extended Post Screw	30-50mm	$600.00	$760.00

Scient'x Australia

SX025	Lyra Screws	Screws for antero-lateral thoraco-lumbar plate: short 	Diameter:6.5mm; 5.5mm Length: 30mm; 	$250.00

hemispherical, locking spherical	32.5mm; 35mm; 37.5mm; 40mm; 45mm;

50mm; 55mm; 60mm

Prostheses List by Category, Groups and Sponsor	Page 192 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK502	Trio Spinal Fixation System	Screw	Diameter: 4.5 - 8.5mm	$600.00

Length: 25 - 60mm

Standard and Long Post

SR039	Techtonix System	Screw, titanium	5-6mm x 25mm-60mm	$600.00

Surgical House

SU091	Bone screw; Olerud Bone Screw	Hook/screw & rod spinal system component; Olerud Bone	3.5 & 4mm diam, leng 16-65mm; Cannulated:	$307.00	$612.00

Screw - Titanium, cannulated and non-cannulated	 Diameter 3.5, 4.0mm Length 45 - 60mm,

Non-cannulated: Diameter 3.5, 4.0 Length 16

-65mm

SU200	Olerud Pedicle Screw	Titanium	Diameter 4, 5, 6, 7mm Length 45 - 90mm	$600.00

Synthes Australia Pty Ltd

SY149	Universal Spine System (USS)	Schanz Screws	 5-7mm dia 	$140.00

2 - Cannulated

Johnson & Johnson Medical Pty Ltd

JJ603	McGuire Bone Screw	Cancellous Bone Screw	3.5mm x 8 - 60mm	$307.00

Medtronic Australasia Pty Ltd

MC447	UCSS	Cortical Screws 	30 - 50mm	$210.00	$657.00

MC448	UCSS	Cortical Lag Screws	36 - 50mm	$210.00	$657.00

Nuvasive Australia and NZ  Pty Ltd

NV005	Triad Facet Screw	Cannulated	3.5 - 4.5mm diameter20-70mm length	$307.00

Orthotech Pty Ltd

OH254	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2-part) fixation screws	Screws/Revision Screws - dia 4.4mm, length 	$260.00

11 - 18mm - Pack of 3

OH365	AxiaLIF Facet Screw	Percutaneous 360 degree fusion at L5 - S1	4/5mm x 25-40mm	$280.00	$1,110.00

Synthes Australia Pty Ltd

SY141	Spinal Plate/Plate System AO/ASIF Spinal Implants	Cannulated/self tapping screw (odontoid)	3.5mm dia, 36-50mm length	$260.00	$544.00

SY302	TeleFix Spinal System	Posterior Screw	20mm to 70mm in length	$250.00	$587.00

SY303	TeleFix Spinal System	Anterior Screw	20mm to 70mm in length	$250.00	$587.00

Prostheses List by Category, Groups and Sponsor	Page 193 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4 - Closed

Medtronic Australasia Pty Ltd

MC462	Zephir	Cancellous Screw	13-17mm	$210.00

Scient'x Australia

SX009	Antelys	Screw	D: 5mm, L: 32.5 to 50mm	$210.00

Surgical House

SU092	Occiput screw	Hook/screw & rod spinal system component	4mm diam, length14-18 mm	$210.00	$275.00

Synthes Australia Pty Ltd

SY148	Universal Spine System (USS)	Pedicle Hook Screw	Length 20- 40mm	$210.00

5 - Dual Thread Screw

Austspine Pty Ltd

AJ018	Pyrenees Cervical Plate System / bone Screw	Self-drilling, self-tapping and bone reduction screws for 	Diameter: 4.0, 4.35 and 4.5mm.  Length: 	$240.00

fixating the Pyrenees plate to bone	10,12,14 and 16mm

Synthes Australia Pty Ltd

SY140	Spinal Plate/Plate System AO/ASIF Spinal Implants	Anterior thoracolumbar screws -  locking	Locking screw 7.5mm, length 25 - 55mm	$480.00

SY251	Ventrofix - MIS	Screw	25-65mm	$480.00

SY291	Anterior Tension Band	Locking Screw	22mm to 36mm	$480.00

SY297	SynFix Spinal system	Locking Screw	10mm to 40mm, 4.0mm diameter	$480.00

6 - Expansion Head

Synthes Australia Pty Ltd

SY449	Cervical Spine Locking Plate (CSLP) System	QuickLock Screw	4.0 or 4.5mm Diameter, 12-20mm Length	$300.00	$470.00

6 - Expansion Screw / Expansion head screw

B Braun Australia Pty Ltd

BB158	Aesculap Cervical System	Titanium with locking mechanism	Dia 4 - 4.5mm, length 10 - 28mm	$300.00	$450.00

Lifehealthcare Pty Ltd

LH382	Signus Anterior Cervical Plate - Bone Screws	Provides stability in patients undergoing anterior cervical 	4.0 & 4.5mm diameter x 12-16mm length	$300.00

spine fusion procedures. It consists of a pre-contoured

titanium plate, secured onto the spinal vertebrae by either

fixed or variable angle colour coded screws. These screws

have an integral lock

Prostheses List by Category, Groups and Sponsor	Page 194 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH305	ADD / ADDplus	Osmium Screw including bolt, titanium. The osmium screw 	length = 14, 16, 18mm with outer diameter of 	$300.00	$500.00

is a two-component system consisting of a screw and a 	5mm

bolt. Expansion of the screw is achieved by inserting the

bolt. Hyper-expansion of the screw is not possible.

Synthes Australia Pty Ltd

SY181	Cervical Spine Locking Plate (CSLP) System	Expansion Head Screw	Dia 3.5 - 4.5mm,  Length 12 - 25mm	$300.00

c - Collar / Sleeve

Nuvasive Australia and NZ  Pty Ltd

NV007	Gradient Cervical Plates	Bone Screw	4.0 - 4.7mm diameter10 - 20mm length	$200.00

C - Complex

Arthrocare Australasia Pty Ltd

AF028	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLGA/TMC Copolymer 	10-20mm	$260.00

Screws

Group 10 - Fixation: C-Ring

Synthes Australia Pty Ltd

SY145	Universal Spine System (USS)	Half Ring	SS, Standard, Self-Holding	$365.00

SY360	Universal Spine System (USS)	Half Ring	SS, Standard, Self-Holding	$365.00

Group 10 - C-Ring

Medtronic Australasia Pty Ltd

MC436	CD-Horizon	C-ring	One size only	$365.00

Orthotech Pty Ltd

OH044	Synergy Spinal System	C-Ring	4.75 - 6.35mm	$365.00

Prostheses List by Category, Groups and Sponsor	Page 195 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 11 - Fixation: Other

Zimmer Pty Ltd

ZI330	Trabecular Metal Spinal Devices	Composition - Trabecular Metal	Various heights, sizes and diameters	$5,580.00

ZI536	Trabecular Metal Spinal Devices	Composition Trabecular Metal	Various heights, diameters and sizes	$5,580.00

ZI537	Trabecular Metal Spinal Device	Composition Trabecular Metal	Various heights, sizes and diameters	$5,580.00

Group 11 - Other

Medtronic Australasia Pty Ltd

MC637	CD Horizon	Spire Plate	One size	$1,425.00

Group 12 - Spacer: Interbody/Fusion Cage

Group 12a - Interbody / Fusion Cage, Integral Fixation

Orthotech Pty Ltd

OH257	Stalif	Interbody Spinal Fusion Implant: 	37mm x 11, 13, 15mm; 41mm x 11, 13, 	$5,200.00

Retroperitoneal/Transperitoneal	15mm; 45mm x 11, 13, 15mm; 37mm x

17mm, 41mm x 17mm, 45mm x 17mm

Scient'x Australia

SX010	PCB Plate-Cage	Titanium cervical plate-cage	L: 14-16mm, W: 12-15mm, Cage Height: 	$2,700.00

4.5-8mm, Plate Height: 23-29mm

Synthes Australia Pty Ltd

SY298	SynFix Spinal System	Interbody fusion cage prefilled or unfilled	5mm to 19mm	$6,500.00	$7,250.00

Group 12b - Interbody / Fusion Cage, No Integral Fixation

Austspine Pty Ltd

AJ029	Aleutian ALIF	An anterior lumbar interbody spacer designed to stabilise 	Footprints:  24mm x 30mm, 28mm x 36mm 	$3,600.00

and maintain the intervertebral space	Heights: 9mm to 21mm

Prostheses List by Category, Groups and Sponsor	Page 196 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AJ030	Aleutian TLIF	A tranforaminal posterior lumbar interbody spacer designed	27mm Long, 10mm wide in a range of heights 	$3,600.00

to stabilise and maintain the intervertabral space	from 7mm to 17mm

B Braun Australia Pty Ltd

BB070	Prospace Block	Titanium	9mm-11mm	$3,600.00

BB211	KLA Anterior Lumbar Cage System	Anterior Lumbar Cage - PEEK	9mm x 5 degrees, 11mm x 5 degrees, 13mm 	$3,600.00	$4,250.00

x 5 degrees, 11mm x 9 degrees, 13mm x 9

degrees, 15mm x 9 degrees, 13mm X 13

degrees, 15mm X 13 degrees

BB212	CBK Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	4.5mm, 5.5mm, 6.2mm, 7mm, 8mm, 9mm	$2,503.00

BB217	Samarys Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	L15 x w17 x h5mm, L15 x w17 x h6mm, L15	$2,503.00	$2,800.00

x w17 x h7mm, L15 x w17 x h8mm, L13 x

w17 x h5mm, L13 x w17 x h6mm, L15 x

w20 x h5mm, L15 x w20 x h6mm

BB252	T. Lif Intervertebral Cage System	T.Lif PEEK Intervertebral Cage	All sizes	$3,600.00	$5,000.00

BB278	Aesculap Interbody Cage	Interbody cage	All sizes	$3,600.00

BB287	Aesculap TLIF System	Peek Optima	All Sizes	$3,600.00	$5,000.00

Global Orthopaedic Technology

GO076	Traxis (non sterile)	Titanium Interbody Implant	9-13mm	$3,600.00

GO077	Traxis Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$3,600.00

GO100	InFix Interbody Fusion System	Strut	Small - Large	$1,082.00

GO109	Cadence (non sterile)	Titanium Interbody Implant	9-15mm	$3,600.00

GO110	Cadence Peek - Optima (sterile)	Vue Radiolucent Implant	9-13mm	$3,600.00

GO111	Fortitude (non sterile)	Titanium Interbody Implant	12mm	$2,503.00	$6,120.00

GO112	Fortitude Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$2,503.00	$5,670.00

GO122	InFix Interbody Fusion System	Strut	Small - Large	$3,600.00

Johnson & Johnson Medical Pty Ltd

DP510	Brantigan I/F Cage	PLIF C/F Cage 	Straight / Wedge	$3,000.00

DP511	Brantigan I/F Cage	ALIF C/F Cage	Small - Large	$3,600.00

DP514	Brantigan I/F Cage	Cervical Brantigan Cage	Standard/Large 4-10mm	$2,503.00	$2,668.00

Prostheses List by Category, Groups and Sponsor	Page 197 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP515	I/F Ramp	PLIF C/F Ramp	7-11 x 11-15 x 21 - 25 mm	$3,000.00

DP851	Surgical Titanium Mesh System	Standard & Trapezoidal	10-16mm x 8-17mm Hgt	$3,000.00

DY406	Leopard 5 Lodotic Carbon Fibre Body Fusion Device	Carbon Fibre cage	7 - 18mm	$3,600.00	$3,915.00

DY407	Leopard Parallel Carbon Fibre Body Fusion Device	Carbon Fibre Cage	7 - 18mm	$3,600.00	$3,690.00

DY422	Saber Cage	PLIF Cage	Parallel/Wedge	$3,000.00

JJ520	CONCORDE Spine System	Parallel Carbon Fibre Interbody Fusion Device	7 - 13mm	$3,600.00

JJ521	CONCORDE Spine System	Lordotic Carbon Fibre Interbody Fusion Device	7 - 13mm	$3,600.00

JJ569	Cougar II ALIF Cage	Anterior Lumbar Interbody FusionCage, Carbon Fibre 	Small, Medium, Large, 10 - 20mm, 5 or 10 	$3,600.00	$3,690.00

Reinforced Polymer (CFRP)	Deg

Lifehealthcare Pty Ltd

LH181	Rabea Peek Vertebral Body Fusion Implant	Composition - peek, spinal implant	4, 5, 6, 7 x 12 x 14mm, 8 x 12 x 16mm	$2,503.00

LH252	Signus - Semial	Composition - PEEK	Height (ant) 7.80, 10.40, 13.20; Diameter 38,	$3,600.00

43, 48; Height (post) 5.4, 8.0, 8.1, 10.8;

Angle 5.00, 10.40

LH303	Nubic	Cervical Fusion Implant in interbody fusion of the Cervical 	4x13x14mm, 5x13x14mm, 6x13x14mm, 	$2,503.00

Spine	7x13x14mm, 8x13x14mm

LH316	Magerl/Kimba Cage	Endless Carbon Fibre (ECF) in PEEK-Optima	7, 8, 9, 11, 13, 15mm	$3,600.00

LH370	Signus Mobis Lumbar TLIF Cage	Peek-Optima Lumbar intervertebral TLIF cage	6, 7, 8, 9, 10, 11, 12, 13, 14, 16, 18mm 	$3,600.00

heights

LH393	Blackstone Construx Mini PEEK VBR System	The Construx Mini is an anterior Cervical Interbody PEEK 	12mm x 12mm 5 degrees lordotic. 5mm-	$2,503.00

Cage	12mm in 1mm increments. 12mm x 12mm,

Parallel. 5mm - 12mm in 1mm increments.

15mm x 12mm, 5 degrees lordotic. 5mm -

12mm in 1mm increments. 15mm x 12mm,

Parallel. 5mm-12mm in 1mm increments

Prostheses List by Category, Groups and Sponsor	Page 198 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH394	Blackstone Medical Pillar AL	Anterior Lumbar Interbody Fusion PEEK cage	26mm x 20mm, 7 degrees (lordotic). 8-20mm	$3,600.00

height in 2mm increments. 30mm x 24mm, 0

degrees (parallel). 8mm 18mm height in 2mm

increments. 30mm x 24mm, 7 degrees

(lorotic). 10-22mm height in 2mm increments.

30mm x 24mm, 12 degrees (lordotic). 12-

24mm height in 2mm increments. 34mm x

28mm, 12 degrees (lordotic). 12-24mm height

in 2mm increments

LH396	Blackstone Medical Pillar TL	Transforaminal Lumbar Interbody Fusion PEEK cage	9mm x 27mm, 0 degrees (parallel). 8mm -	$3,600.00

16mm height in 1mm increments. 9mm x

27mm, 8 degrees (lordotic). 8mm -16mm

height in 1mm increments

LSS Surgical Pty Limited

LS009	Anatomix Cervical Cage System	Vue Radiolucent Implant	Size 5 to 10	$2,503.00	$6,300.00

LS013	DIVA Cervical PEEK Cage System	Cervical Cage PEEK	Standard Cervical PEEK Cage Sizes 4 to 8. 	$2,503.00	$3,340.00

Small Cervical PEEK Cage Sizes 4 to 7

Medtronic Australasia Pty Ltd

MC297	Verte-Stack	Boomerang	Width 25 - 36 mm, Height 6 - 18 mm	$3,600.00	$5,907.00

MC413	Cornerstone Cage	Sterile and Non-sterile	4, 5, 6, 7, 8, 9, 10mm	$2,503.00

MC589	Affinity Anterior cervical cage System	The Affinity Cage is constructed of titanium alloy - kit 	6mm to 14mm	$2,503.00

includes trials, reamers and inserters.

MC602	Union	Verte-Stack	Flat Small 12-20mm	$3,600.00

MC673	Verte-Stack	Perimeter Cage	Extra Small, Small, Medium, Large, Extra 	$3,600.00	$5,907.00

Large

MC685	Verte-Stack Crescent	PEEK	Height 6 - 18mm	$3,600.00	$5,907.00

Nuvasive Australia and NZ  Pty Ltd

NV010	CoRoent	Cervical Cage	small	$2,503.00

NV011	CoRoent	PLIF cage	LN, LT	$3,000.00

NV012	CoRoent	TLIF cage	LW, LC	$3,600.00

Prostheses List by Category, Groups and Sponsor	Page 199 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NV013	CoRoent	XLIF cage	XL	$3,600.00

NV014	CoRoent	ALIF cage	XLR	$3,600.00

Orthotech Pty Ltd

OH123	GEO Structure Vertebral Cage - PLIF	3 dimensional titanium intervertebral cage	One size only	$3,000.00	$4,100.00

OH128	Anterior Lumbar Cage	Titanium or PEEK	Height 2 - 20mm	$3,600.00	$4,100.00

OH131	Anterior Cervical Cage	Peek	12 x 15, 12 x 17, 14 x 17, 14 x 19	$2,503.00

OH316	Impix-C+ - Cervical Cage	Impix-C+ Pre-filled Cervical Cage	12.5mm x 14mm x 5mm, 12.5mm x 14mm x 	$2,503.00	$2,950.00

6mm, 12.5mm x 14mm x 7mm, 14.5mm x

16mm x5mm, 14.5mm x 16mm x 6mm,

14.5mm x 16mm x 7mm, 14.5mm x 16mm x

8mm, 14.5mm x 16mm x 9mm

Scient'x Australia

SX007	Antelys	Cage	H: 9-15mm	$3,600.00

SX014	CBK Cage	PEEK	L: 15mm, W: 13mm, H: 4.5-9mm	$2,503.00

Stryker Australia Pty Ltd

SR050	AVS TL Peek Spacer System	Transforaminal Lumbar Interbody Fusion cage, PEEK	7-18mm x 25--30mm. 0-4 degree	$3,600.00

SR066	AVS AL PEEK Spacer System	Anterior Lumbar Interbody Fusion Cage	22mm deep x 28mm wide x 10mm - 50mm 	$3,600.00

height and 28mm deep x 33mm wide x

10mm-50mm height.  Both base sizes come in

4 degree and 8 degree angulations

SR082	UniLIF	PEEK Unilateral Lumbar Interbody Fusion Cage	Width 11mm, Height 6mm to 13mm, Length 	$3,600.00

30mm - 33mm

ST712	PEEK Interbody Cages	Solis cages poly ether ether ketone	12/5-12/7 and 14/5-14/7	$2,503.00

Synthes Australia Pty Ltd

SY137	Syncage	Interbody fusion cage	12 -19mm Height	$3,600.00	$3,690.00

SY273	Cervios IBF Cage	Interbody Fusion Cage	Height 5-10mm (1mm increments)	$2,503.00	$2,781.00

SY300	Travios	Interbody fusion cage, prefilled or unfilled	5mm to 19mm	$3,600.00	$4,258.00

SY439	OPAL	Cage Spacer	7-177mm, 10 x 28-32mm	$3,600.00	$4,258.00

SY453	Oracle	Lumbar Interbody Fusion Cage	40-55mm M/L x 22mm A/P, 9-17mm Height	$3,600.00	$3,690.00

Prostheses List by Category, Groups and Sponsor	Page 200 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Trans-Pacific Healthcare Pty Ltd

TP001	TPH - Fehling Formar Cages	Trapezoid frames to replace removed discs in the region of 	$2,503.00

the cervical vertebrae. Made of PEEK Optima

Zimmer Pty Ltd

ZI482	Spine-Tech BAK Cervical Implant	Cervical Cage	6 x 12mm, 8 x 12mm, 10 x 12mm, 12 x 	$2,503.00

12mm

ZI657	Traxis (non sterile)	Titanium Interbody Implant	9-13mm	$3,600.00

ZI658	Traxis Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$3,600.00

ZI679	InFix Interbody Fusion System	Strut	Small - Large	$1,082.00

ZI688	Cadence (non sterile)	Titanium Interbody Implant	9-15mm	$3,600.00

ZI689	Cadence Peek - Optima (sterile)	Vue Radiolucent Implant	9-13mm	$3,600.00

ZI690	Fortitude (non sterile)	Titanium Interbody Implant	12mm	$2,503.00	$6,120.00

ZI691	Fortitude Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$2,503.00	$5,670.00

ZI693	InFix Interbody Fusion System	Strut	Small - Large	$3,600.00

ZI695	Anterior Lumbar Cage	Titanium or PEEK	Height 2 - 20mm	$3,600.00	$4,100.00

ZI696	Fidji Cervical Cage	12 x 15, 12 x 17, 14 x 17, 14 x 19	$2,503.00

1 - Paired

Austspine Pty Ltd

AJ009	Kasios KAGE	Cervical interbody PEEK cage for anterior cervical surgery	Height 4mm - 10mm	$2,503.00

AJ020	Vigor PEEK Lumbar Interbody Fusion Cage	Rotatable posterior lumbar interbody fusion cage	Heights: 10mm, 11mm, 12mm, 14mm, 16mm 	$3,000.00

and Lengths: 24mm and 26mm

AJ028	Aleutian AN PLIF	An insert-and-rotate posterior lumbar interbody spacer 	22mm and 28mm long, 8.5mm wide in a range	$3,000.00

designed to stabilise and maintain the intervertebral space	 of heights from 6mm to 17mm

Prostheses List by Category, Groups and Sponsor	Page 201 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

B Braun Australia Pty Ltd

BB213	CO Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK	L23.5 x 9mm x h8mm, L23.5 x 9mm x h9mm,	$3,000.00

L23.5 x 10mm x h10mm, L23.5 x 10.7mm x

h11mm, L23.5 x 11.7mm x h12mm, L23.5 x

12.7mm x h13mm, L23.5 x 13.7mm x

h14mm, L23.5 x 14.7mm x h15mm, L23.5 x

9mm x h9mm

BB214	CC Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK	L23.5 x 10-12.5mm x h8mm, L23.5 x 10-	$3,000.00

12.5mm x h9mm, L23.5 x 10-12.5mm x

h10mm, L23.5mm x 11-13.5mm x h11mm,

L23.5 x 11-13.5mm x h12mm, L23.5mm x

11-13.5mm x h13mm, L23.5 x 11-13.5mm x

14mm, L23.5mm x 10-12.5mm x h6mm

BB215	Adonys Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK - Standard	8mm x 4 degrees, 12mm x 4 degrees, 8mm x 	$3,000.00	The benefit amount/minimum benefit amount is

10 degrees, 12mm x 10 degrees	for an individual product which comes as a

pack of two

BB216	Adonys Posterior Lumbar Cage System	Posterior Lumbar Cage - Short	8mm x 4 degrees, 10mm x 4 degrees, 12mm 	$3,000.00	The benefit amount/minimum benefit amount is

x 4 degrees, 8mm x 10 degrees, 10mm x 10 	for an individual product which comes as a

degrees, 12mm x 10 degrees	pack of two

Global Manufacturing Technology Pty Ltd

GM027	NeoIC (Neo Interbody Fusion Cage)	Interbody Fusion Cage	Various	$3,000.00	$3,145.00

Johnson & Johnson Medical Pty Ltd

JJ699	Iriom ramp	Carbon fibre fusion ramp	5 degrees and 7.5 degree lordosis, 9-17 mm 	$3,000.00

anterior heights

Lifehealthcare Pty Ltd

LH182	Tetris Lumbar Fusion Implant System	Titanium or peek, spinal implant	8-12mm x 11mm	$3,000.00

LH395	Blackstone Medical Pillar PL	Posterior Lumbar Interbody Fusion PEEK Cage	9mm x 23mm, 0 degrees (parallel). 8mm - 	$3,000.00

16mm height in 1mm increments. 9mm x

23mm, 8 degrees (lordotic). 8mm-16mm

height in 1mm increments

Prostheses List by Category, Groups and Sponsor	Page 202 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LSS Surgical Pty Limited

LS001	SAS Spinal Advanced System	Peek-Optima Lumbar Cage	9mm t 15mm	$3,000.00	$3,340.00

LS023	DIVA PEEK Lumbar Cage	PEEK Lumbar Cage Posterior & Anterior	Posterior Cages 0, 4 & 8 degrees Length 	$3,000.00	$3,340.00

20mm & 25mm T8 to T14. Anterior Cages 4

& 8 degrees T9 to T16

Medtronic Australasia Pty Ltd

MC456	Interfix 	Titanium Cage	12 x 20mm - 24 x 50mm	$3,000.00

MC457	LordoTec Cage (LT-Cage)	Titanium,  PEEK	18-28mm	$3,000.00

MC577	R90 Spacer	Spinal Implant (Peek)	Height: 7mm - 16mm, Lordosis: 6 degrees - 	$3,000.00	$3,800.00

18 degrees, Length: 18 -27mm

MC633	Capstone Cage	Vertebral Body Spacer	Length: 22-60mm	$3,000.00	$3,800.00

Orthotech Pty Ltd

OH129	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm	$3,000.00	$3,900.00

OH317	IMPIX-LR	IMPIX - lr Lumbar Ramp	8x20x0DEG, 13X20X0DEG, 	$3,000.00	$4,100.00

14X20X0DEG, 9X20X4DEG,

10X20X4DEG, 11X20X4DEG,

12X20X4DEG, 13X20X4DEG,

14X20X4DEG, 10X20X8DEG,

11X20X8DEG, 12X20X8DEG,

13X20X8DEG, 14X20X8DEG,

12X20X12DEG, 13X20X12DEG,

14X20X12DEG, 8X25X0DEG,

9X25X0DEG, 10X25X0DEG,

11X25X0DEG, 12X2

OH347	Ibex Interbody Cage	Lumbar Cage	7-17mm	$2,503.00	$3,500.00

Scient'x Australia

SX013	CC-CO Cages	PEEK Polymer	L: 23.5mm, W: 10-13.5mm, H: 8-14mm	$3,000.00

Stryker Australia Pty Ltd

ST711	PEEK Interbody Cages	Peek lumbar cages poly ether ether ketone 0, 4 & 8 degree	Size 7-18mm	$3,000.00

Synthes Australia Pty Ltd

SY088	Plif Cage: Cage	Contact fusion cage - bone compression screw for PLIF 	Width 8 - 11mm / height 9 - 15mm	$3,000.00

cage

Prostheses List by Category, Groups and Sponsor	Page 203 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY274	Plivios IBF Cage	Interbody Fusion Cage	Height  7-17mm	$3,000.00

SY340	PlivioPore	Ti PLIF cage	Height 7 - 17mm / width 7 - 13mm	$3,000.00	$3,670.00

Zimmer Pty Ltd

ZI483	Spine-Tech BAK "L" Cage	Lumbar Cage	9 x 20mm, 9 x 24mm, 11 x 20mm, 13 x 	$3,000.00

20mm, 13 x 24mm, 15 x 20mm, 15 x 24mm,

17 x 24mm, 17 x 28mm

ZI615	ARDIS LUMBAR INTERBODY SPINAL CAGE	A lumbar interbody fusion cage	H 8 to 16mm; W 9 & 11mm; L 22 to 34mm	$3,000.00	$3,600.00

ZI694	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm	$3,000.00	$3,900.00

Group 14 - Replacement: Disc

Group 14a - Disc, Single Implant

Medtronic Australasia Pty Ltd

MC585	Maverick Artificial Disc	Cobalt Chrome	8mm - 14mm	$9,550.00	$13,028.00

Stryker Australia Pty Ltd

SK459	Flexicore	Lumbar Intervertebal disc	35 - 40mm x 11 - 18mm	$9,550.00	$12,600.00

Group 14b - Disc, Multi-Component Implant

1 - End Plate

Johnson & Johnson Medical Pty Ltd

DY356	In Motion Lumbar Artificial Disc	End Plates Parallel & Oblique	Small, medium, large	$4,200.00

Synthes Australia Pty Ltd

SY327	Spine Solutions Prodisc	Artificial mechanical disc, superior plate component	3 Degree, 6 Degree, 11 Degree, Medium, 	$4,200.00

Large

SY329	Spine Solutions Prodisc	Artificial mechanical disc, inferior plate component	0 Degree, 3 Degree, 8 Degree,Medium, 	$4,200.00

Large

2 - Core

Johnson & Johnson Medical Pty Ltd

DY359	In Motion Lumbar Artificial Disc	Sliding Core	7.5mm,  8.5mm, 9.5mm, 10.5mm	$1,150.00

Synthes Australia Pty Ltd

SY328	Spine Solutions Prodisc	Artificial mechanical disc, polyethylene inlay	10,12,14mm, Medium, Large	$1,150.00

Prostheses List by Category, Groups and Sponsor	Page 204 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 15 - Replacement: Nucleus

Medtronic Australasia Pty Ltd

MC617	Nucleus Replacement	Spinal Disc	Thickness 5-25mm, Diameter 10-50mm	$5,900.00

Trans-Pacific Healthcare Pty Ltd

TR007	HydraFlex	Hydrogel and ployethylene Prosthetic Disc Nucleus	Fits disc height of 8-11mm. Sizing: M7, M9, 	$5,900.00

S7, S9

Group 16 - Replacement: Vertebral Body

Group 16a - Vertebral Body, Telescoping Cage - Integral Fixation

Orthotech Pty Ltd

OH052	Interpore Bone Plate System	TPS Bone Plate	20 - 56cm	$2,300.00	$3,500.00

OH303	ADD / ADDplus	Addplus is a winged anterior distraction device and is also 	ADDplus, diameter 12mm, height 13-18mm. 	$2,300.00	$4,600.00

used for vertebral column replacement which can be used 	6°

for the anterior cervical column and for the cervico-thoracic	ADDplus, diameter 12mm, height 17-26mm.

transition. The Adplus effects the reconstruction, support 	6°

and stabilization of the anterior column.The fixation on the 	ADDplus, diameter 12mm, height 25-41mm.

vertebral bodies is effected by means of screws from the 	6°

osmium system, with a monocortical as well as a biocortial 	ADDplus, diameter 12mm, height 40-65mm.

screw anchoring being possible. The additional wings 	6°

prevent a migration as well as possible sinking in of the

implant. The ADDplus is made from titanium alloy.

Group 16b - Vertebral Body, Telescoping Cage - No Integral Fixation

B Braun Australia Pty Ltd

BB279	TeCorp Vertebral Body Replacement System	TeCorp Cervical	All sizes	$3,100.00	$5,000.00

BB280	TeCorp Vertebral Body Replacement System	TeCorp Thoracic	All sizes	$4,300.00	$5,395.00

BB281	TeCorp Vertebral Body Replacement System	TeCorp Lumbar	All sizes	$4,300.00	$5,395.00

BB288	Aesculap Vertebral Body System	Vertebral Body System, Titanium Alloy	All sizes	$4,300.00	$6,000.00

Prostheses List by Category, Groups and Sponsor	Page 205 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY062	Brazenor Device	Custom Cervical Buttress	One size only	$2,155.00

DY420	X-Tenz	Telescopic VBR Cage	16mm	$4,300.00	$4,911.00

DY421	X-Tenz	Telescopic VBR Cage	22mm	$4,300.00	$4,911.00

DY429	X-Tenz	Telescopic VBR Cage	26mm	$4,300.00	$4,911.00

DY430	X-Tenz	Telescopic VBR Cage	28mm	$4,300.00	$4,911.00

JJ516	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	$4,300.00

JJ517	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	$4,300.00

JJ782	X-MESH - Expandable Cage System	Telescoping, vertebral body replacement device	Footprint/diameter 10-40mm, variable height 	$4,300.00	$5,864.00

range

Medtronic Australasia Pty Ltd

MC507	LIFT/VERTE-SPAN	Vertebral Body Cages	Short - Extra Long	$4,300.00

MC820	T2 XVBR	T2 XVBR is an expandable vertebral body replacement 	Diameters: 13 - 31mm	$4,300.00

cage

Orthotech Pty Ltd

OH301	Obelisc vertebral body replacement	Centre Piece	diameter - 20mm, height 20-28mm	$4,300.00	$5,000.00

Made from titanium.	diameter - 20mm, height 25-37mm

diameter - 20mm, height 32-47mm

diameter - 20mm, height 40-62mm

diameter - 20mm, height 53-87mm

diameter - 20mm, height 76-132mm

Stryker Australia Pty Ltd

SK448	VLIFT	Vertebral Body Replacement System, DIS Implant	18-22mm x 20-37mm	$4,300.00	$6,574.00

Synthes Australia Pty Ltd

SY341	Expandable Cage Titanium	Synex II, Titanium	Height 14mm-123mm	$4,300.00	$4,315.00

SY343	Expandable Cage Titanium	Synex, Titanium, with endplates	Height 14mm - 93mm, Angle 0 - 40 degree	$4,300.00	$5,395.00

SY356	ECD - Expandable Corpectomy Device	Vertebral body replacement system, PEEK/Titanium	Angle 4.5Deg/7Deg, Height 17mm - 70mm	$3,100.00	$5,440.00

Prostheses List by Category, Groups and Sponsor	Page 206 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 16c - Vertebral Body, Telescoping Cage - End Plate

Global Orthopaedic Technology

GO099	InFix Interbody Fusion System	Endplate	Small - Large	$1,200.00

GO101	InFix Interbody Fusion System	Endcap	8-10mm	$1,200.00

Medtronic Australasia Pty Ltd

MC540	LIFT/ VERTE-SPAN	End plates (caps)	Angulation: -8 - 7 degrees; left and right	$1,200.00	$1,325.00

Orthotech Pty Ltd

OH302	Obelisc vertebral body replacement	End Piece	diameter - 20mm, angle 0°	$1,200.00

Made from titanium.	diameter - 20mm, angle 5°

diameter - 20mm, angle 10°

diameter - 24mm, angle 0°

diameter - 24mm, angle 5°

diameter - 24mm, angle 10°

diameter - 26mm, angle 0°

diameter - 26mm, angle 5°

diameter - 26mm, angle 10°

Stryker Australia Pty Ltd

SK339	VLIFT	End cap	Sizes 18 to 22mm	$1,200.00

Synthes Australia Pty Ltd

SY342	Expandable Cage Titanium	Synex II, Titanium endplate	Angle 0 - 40 degree. Endplate Size 19x20, 	$1,200.00

22x25, 26x30

Zimmer Pty Ltd

ZI678	InFix Interbody Fusion System	Endplate	Small - Large	$1,200.00

ZI680	InFix Interbody Fusion System	Endcap	8-10mm	$1,200.00

Group 16d - Vertebral Body, Stackable Cage

Johnson & Johnson Medical Pty Ltd

DP513	Stackable Corpectomy CFRP Cage System	Stackable Cage Thoracic/Lumbar	Small-Large	$4,400.00

DY322	Carbon Fibre Interbody Fusion Device	Stackable C/F Cage System Wedges	11 Degree Small-Large	$4,400.00

Lifehealthcare Pty Ltd

LH389	Signus Athlet VBR System - Main Body	Peek Vertebral Body Replacement System (Main body)	12, 18, 24, 30, 36 and 42mm lengths	$4,400.00

Prostheses List by Category, Groups and Sponsor	Page 207 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH397	Signus Athlet VBR System - End Body	Peek Vertebral Body Replacement System (End body)	4, 6, 8mm heights	$4,400.00

Medtronic Australasia Pty Ltd

MC603	Union	Verte-Stack	Flat Small 12-20mm	$4,400.00

MC606	Union	Verte-Stack	Centre Piece 5-40mm	$4,400.00

MC632	Verte-Stack	XS Centre Piece. Stackable Corpectomy Device.	Height 5-50mm	$4,400.00	$5,005.00

Group 16e - Vertebral Body, Mesh

Lifehealthcare Pty Ltd

LH284	Blackstone - Surgical Mesh	4 lobe, 6 lobe	4 lobe: 12 x 15mm, 8mm - 17 x 22, 15mm, 6 	$3,605.00

lobe: (diameter x height) 10 - 16 x 10 - 16mm

(2mm increments), 7 - 70mm

Medtronic Australasia Pty Ltd

MC378	Pyramesh	Titanium Surgical Mesh	51 - 500mm	$3,605.00	$4,700.00

MC379	Pyramesh	Titanium Surgical Mesh	5 - 50mm	$3,605.00

MC449	Pyramesh	Angled	25 - 150mm	$3,605.00

MC450	Pyramesh	Curved	130mm	$3,605.00

MC451	Pyramesh	Ovoid	8 - 70mm	$3,605.00

Nuvasive Australia and NZ  Pty Ltd

NV015	Titanium Mesh	Oval/Flat/Long/Round	10mm - 16mm Diameter, 6mm - 14mm Length	$3,605.00

NV016	Titanium Mesh	Oval/Flat/Long/Round	10mm - 16mm Diameter, 15mm - 90mm 	$3,605.00

Length

NV017	Titanium Mesh	Oval/Flat/Long/Round	20mm + Diameter, 30mm - 90mm Length	$3,605.00

Stryker Australia Pty Ltd

SK338	VBOSS/VLIFT	Titanium	Available from 10 to 25mm in Diameter and 	$3,605.00

from 8 to 120mm in Length

Synthes Australia Pty Ltd

SY293	Synmesh	Mesh, Oblong	6mm - 88mm	$3,605.00

Prostheses List by Category, Groups and Sponsor	Page 208 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY294	Synmesh	Mesh, Round	6mm - 88mm	$3,605.00

Group 16f - Vertebral Body, Mesh - End Plate

Lifehealthcare Pty Ltd

LH282	Blackstone - End Ring	Surgical Mesh	[Surgical mesh X Angle] 10-16mm (2mm 	$195.00

increments) X 0-2.5 degrees

Medtronic Australasia Pty Ltd

MC539	Pyramesh	End ring/cap	10 - 25mm	$1,325.00

MC686	Pyramesh Cleat	Titanium Mesh	10mm - 25mm	$1,325.00

MC821	T2	End Cap	13-31 mm, 0, 4, 8, 15 degree lordosis	$1,325.00

Stryker Australia Pty Ltd

SK424	VBOSS	End cap	Sizes 10 to 25mm	$1,325.00

Synthes Australia Pty Ltd

SY295	Synmesh	End rings	round/oblong	$1,325.00

Group 17 - Bone Graft: Bone Substitute

Group 17a - Bone Substitute, Resorbable

Austspine Pty Ltd

AJ010	KGBone	Synthetic bone substitute, custom-fit for KAGE cervical 	4mm-10mm	$1,500.00

interbody cage

Scient'x Australia

SX017	Bonex	Block	L:5.5 - 50mm	$1,500.00

Group 17c - Bone Substitute, Non-Resorbable - Non-Structural

Cardinal Health

CI001	Ava-Tex Radiopaque Bone Cement Kit	13.8g Barium-Polymer Powder & 6mL Liquid Monomer, 	12mL	$230.00

Ported Mixing Vial, Funnel, 20mL 2-Piece Syringe,

Ampoule Disposal Container, Monomer Dispersement

Cannula, Spatula, Four Self-Adhesive Charge Labels, Part

No.  BCPM003

Prostheses List by Category, Groups and Sponsor	Page 209 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Heraeus Kulzer Australia Pty Ltd

HK002	Osteopal V	Single mix PMMA	26 grams powder; 10ml liquid	$230.00

1 - with Simple Kit

Johnson & Johnson Medical Pty Ltd

JJ609	Vertebroplasty System	Vertobroplasty System	One size only	$540.00	$1,800.00

Orthotech Pty Ltd

OH166	Mendec Spine	Bone Cement	Cement	$540.00	$1,710.00

Synthes Australia Pty Ltd

SY429	Vertecem Vertebral Augmentation	Vertecem Cement, and Viscosafe Mixing System	21gm	$540.00	$1,800.00

2  - with Complex Kit

Stryker Australia Pty Ltd

SK426	Cortoss Vertebral Augmentation Kit	Cortoss Cement 10cc, Delivery Gun,  Mix Tips, 	10cc	$1,200.00	$2,226.00

Percutaneous Administration Kit

2 - with Complex kit

Arthrocare Australasia Pty Ltd

AF007	Parallax Vertebroplasty Bone Cement	Sterile Sealed Percutaneous Vertebroplasty Bone Cement	Standard	$1,200.00

Johnson & Johnson Medical Pty Ltd

JJ736	Confidence Spinal cement system	Spinal Bone Cement PMMA and Percutaneous 	11 cc	$1,200.00	$2,500.00

Administration Kit

Lifehealthcare Pty Ltd

LH293	Wafer Cartridge Assemby,	Composition: Peek	8 x 20/25/30mm	$1,200.00	$2,720.00

Orthotech Pty Ltd

OH171	Mendec Spine	Bone Cement	Cement Kit	$1,200.00	$1,800.00

Group 17d - Bone Substitute, Resorbable - Non-Structural

Medtronic Australasia Pty Ltd

MC594	Mastergraft	Calcium Phosphate Ceramic Granules	5cc Vial	$900.00	$931.00

MC595	Mastergraft	Calcium Phosphate Ceramic Granules	10cc Vial	$1,200.00	$1,415.00

MC596	Mastergraft	Calcium Phosphate Ceramic Granules	15cc Vial	$1,500.00	$1,862.00

MC597	Mastergraft	Calcium Phosphate Ceramic Granules	30cc Vial	$2,400.00	$3,000.00

Prostheses List by Category, Groups and Sponsor	Page 210 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC660	Mastergraft	Matrix	5cc	$900.00	$1,200.00

MC662	Mastergraft	Matrix	20cc	$1,800.00	$2,100.00

MC663	Mastergraft	Matrix	10cc	$1,200.00	$1,600.00

MC671	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	20cc	$1,800.00	$2,332.00

Supplement

Scient'x Australia

SX018	Bonex	Granules	10cc	$1,200.00

SX019	Bonex	Granules	2cc	$750.00

Group 2 - Fixation: Coupling

a - Nut

Global Manufacturing Technology Pty Ltd

GM069	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep	$177.00	$190.00

Johnson & Johnson Medical Pty Ltd

DP304	Moss Miami (Stainless Steel)	Inner Screw and Outer Nut	3 - 5mm	$177.00

DP460	Isola System (Titanium)	Right Hand Nut	5/16"	$177.00

DP475	Isola System (Stainless Steel)	Right Hand Nut	5/16"	$177.00

DP834	Profile Anterior Thoracolumbar Plate System	Locking Outer Nut	One size only	$177.00

DY107	Carbon Fibre Cages	Stackable Cage Titanium Interface Screw Nuts	One size only	$177.00

DY340	Summit Cervical Rod System	Mini Polyaxial Outer Nut	One size only	$177.00

DY341	Summit Cervical Rod System	Pin Nut with Flange or No Flange	One size only	$177.00

JJ601	Mountaineer Oct Spinal System	Transverse Connector Outer Nut	One size only	$177.00

JJ763	Moss Miami (Titanium)	Outer nut	One Size	$177.00	$225.00

Medtronic Australasia Pty Ltd

MC399	TSRH Spinal Implant System	3D - Nut, Eyebolt locknot, locknut 1/2 inch, locking 	Each in one size	$177.00

screws, double hex, flush break, universal breakoff

MC435	Colorado Spinal System	Break off Nut	One size only	$177.00

MC615	Vantage	Vantage Plates and Screws; Lock Nut	One Size Only	$177.00

Prostheses List by Category, Groups and Sponsor	Page 211 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH036	Synergy/Polaris Spinal System	Hex Nut / Cap Nut	3mm	$177.00	$400.00

OH049	Synergy/Polaris Spinal System	Variable Locking Screw Nut	13.8mm	$177.00	$420.00

OH054	Interpore Bone Plate System	TPS Locked Nut	3mm	$177.00	$650.00

Scient'x Australia

SX004	Isobar TTL	Nut	Blocker, Hemispherical	$605.00

SX029	Lyra Nut	Short Hemispherical nut	one size only	$177.00

SX030	MX System Nut	Inner Locking nut for MX System Screws	One size only	$177.00

Synthes Australia Pty Ltd

SY174	Universal Spine System (USS)	Nut	Standard, SS	$177.00

SY186	Cervifix Posterior Cervical System	Nut	One size only	$177.00

Zimmer Pty Ltd

ZI477	Silhouette Spinal System Implants	Nut, Connector, Transverse	1 size	$177.00

ZI479	Silhouette Spinal System Implants	Nut, Locking, Polyaxial	1 size	$177.00

ZI638	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep	$177.00	$190.00

a - Nut, b - Set Screw /  Locking Screw

Johnson & Johnson Medical Pty Ltd

DY293	Crossover System (Titanium)	Crossover Nut or Ball Screw	One size only	$170.00	$250.00

b - Set Screw / Locking Screw

Austspine Pty Ltd

AJ002	Preference II Pedicle screw system	Set Screw for Polyaxial Pedicle Screw System	One size	$170.00

AJ017	Denali Spinal System / ATR Set Screw	Set Screw	8mm diameter and 4mm height	$170.00

AJ024	Smartloc Spinal Fixation System / Set Screw	Set screw for poyaxial pedicle screw	8mm diameter, 5mm height	$170.00

AJ038	Caspian OCT Spinal System - Set Screw	cervico-thoracic posterior rigid fixation system	one size only	$170.00

B Braun Australia Pty Ltd

BB230	S4 Spinal System	Set Screw - titanium	one size	$170.00	$230.00

Global Manufacturing Technology Pty Ltd

GM032	Optimal Spinal System	Set Screw	9 x 1.5 to 10 x 1.5mm	$170.00	$280.00

GM062	Maxima/Optima Anterior Cervical Plate System	Set Screw	One Size	$170.00	$280.00

Prostheses List by Category, Groups and Sponsor	Page 212 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GM072	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth - Titanium alloy	5.5 - 6mm	$170.00	$204.00

Global Orthopaedic Technology

GO078	Nex-Link	Spinal Fixation System, Open Screw Closure	4.00mm	$170.00	$900.00

GO079	Nex-Link	Spinal Fixation System, Closed Screw Set Screw	4.0mm	$170.00	$300.00

GO085	Incompass	Thoracolumbar Fixation System, Closed Implant Set Screw	5.5mm	$170.00	$300.00

Johnson & Johnson Medical Pty Ltd

DP463	Isola System (Titanium)	Set Screw	6.35mm	$170.00

DP501	Isola System (Stainless Steel)	Set Screw	One size only	$170.00

DP832	Profile Anterior Thoracolumbar Plate System	Locking Inner Screw	One size only	$170.00

DY103	Isola System (Stainless Steel)	Modular Cross Connector Set Screw	One Size Only	$170.00

DY106	Isola System (Titanium)	Modular Cross Connector Set Screw	One size only	$170.00

DY108	Isola System	Titanium, Locking Screw	60-120mm	$170.00	$429.80

DY345	Summit Cervical Rod System	Transverse Connector Screw	One size only	$170.00

DY432	Expedium Spine System	Si Screw Set	4.35 - 7.5mm	$170.00	$370.00

DY444	Summit SI System	Inner Set Screw	one size	$170.00	$225.00

JJ594	Mountaineer OCT Spinal System	CT Inner Set Screw	One size only	$170.00

JJ600	Mountaineer Oct Spinal System	Transverse Connector Inner Screw	One size only	$170.00

JJ656	SI Set Screw - Expedium Anterior Spine System	Single Innie Set Screw - Titanium	one size only	$170.00

JJ691	Mountaineer OCT Spinal System - Inner screw	Titanium inner screw	One size only	$170.00	$225.00

JJ762	Moss Miami (Titanium)	Inner set screw	One Size	$170.00	$225.00

JJ791	Expedium Spine System - Unitised Set Screw	Unitised Set Screw	one size	$170.00

Lifehealthcare Pty Ltd

LH243	Spinal Fixation System	Set screw spinal system	One size only	$170.00

LH281	Blackstone Set Screw	Titanium	One size only	$170.00

LH283	Blackstone - Standard Ring Screw	Titanium	One size only	$62.00

Prostheses List by Category, Groups and Sponsor	Page 213 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH313	ICON Modular Spinal Fixation System	Set Screw	one size only	$170.00

LSS Surgical Pty Limited

LS003	Solas Spinal System	Set Screw	One Size	$170.00	$300.00

LS020	SOCORE Spinal System- Locking Screw	Locking Screw	Standard & Mini	$170.00	$300.00

Medtronic Australasia Pty Ltd

MC394	CD Horizon	Set screw	Each in one size	$177.00

MC504	CD Horizon	Breakoff Set Screw	25 - 55mm	$170.00

MC546	Vertex Spinal System	Set screw	One size only	$170.00

MC609	CD Horizon Spinal System	Percutaneous Set Screw	25 - 60mm	$170.00	$250.00

MC654	Engage	Breakoff Set Screw	one size only	$170.00

MC667	SiLo	Set Screw	One Size only	$170.00

MC674	CD Horizon	Legacy set Screw	one size only	$170.00	$250.00

Nuvasive Australia and NZ  Pty Ltd

NV002	SpheRx	Cannulated Lock Screw	one size	$170.00

Orthotech Pty Ltd

OH043	Synergy Spinal System	Point/Double Hex Set Screw	4.75 - 6.35mm	$170.00	$390.00

OH196	Array/Ballista Spinal System	Titanium Alloy Modular Spinal System - set screws	one size	$170.00	$290.00

OH204	Altius Occipito-Cervico-Thoracic (OCT) System	Locking and CAP Nuts	one size only	$170.00	$450.00

OH309	Cosmic implant system	Cosmic Locking Screw - titanium	one size	$170.00	$500.00

OH351	Novel set screw	Set screw	4-10mm	$170.00	$350.00

Stryker Australia Pty Ltd

SK112	XIA/Oasys Spine System	Buttress thread locking nut	3.5mm - 6mm	$170.00

Synthes Australia Pty Ltd

SY010	VentroFix	Set screw	One size only	$170.00

SY135	Cervical Spine Locking Plate (CSLP) System	Locking Screw	One size only	$170.00

SY152	Universal Spine System (USS)	Set Screw	Standard	$170.00

SY286	USS llio-Sacral Fixation system	Locking Screw	one size only	$170.00	$490.00

SY304	TeleFix Spinal System	Posterior Locking Screw	One size only	$170.00

Prostheses List by Category, Groups and Sponsor	Page 214 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY308	Axon Spinal System	Locking Set screw	One size only	$170.00

SY383	Synmesh	Locking Screw, Low Profile, For Synmesh End Rings	Small, Large	$170.00

SY440	Synapse	Locking Screw	One size	$170.00

Zimmer Pty Ltd

ZI625	SEQUOIA PEDICLE SCREW SYSTEM	Closure Top	One size only	$170.00	$400.00

ZI641	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth - Titanium alloy	5.5 - 6mm	$170.00	$204.00

ZI659	Nex-Link	Spinal Fixation System, Closed Screw Set Screw	4.0mm	$170.00	$300.00

ZI665	Incompass	Thoracolumbar Fixation System, Closed Implant Set Screw	5.5mm	$170.00	$300.00

ZI698	Java screw system	Java Blocker	Set screw	$170.00	$325.00

ZI699	Universal Clamp	Locking Screw	.	$170.00	$550.00

b - Set Screw, Locking Screw

Zimmer Pty Ltd

ZI706	Nex-Link	Spinal Fixation System, Open Screw Closure	4.00mm	$170.00	$900.00

c - Collar / Sleeve

Synthes Australia Pty Ltd

SY151	Universal Spine System (USS)	Sleeve	3.5 - 6mm	$225.00

SY363	Universal Spine System (USS)	Sleeve	3.5 - 6mm	$158.00	$225.00

Zimmer Pty Ltd

ZI480	Silhouette Spinal System	Adjustable Transverse Connector Sleeve with Set Screw	12 - 90mm lengths	$225.00

d - Cap / Cover Plate

B Braun Australia Pty Ltd

BB064	Socon Spinal System	Socon Clamps	One size only	$650.00	$1,020.00

Johnson & Johnson Medical Pty Ltd

DY303	Monarch Spinal System	Typhoon Cap and Domed Nuts	One size only	$605.00

Lifehealthcare Pty Ltd

LH193	Blackstone Top Locking Plate	Holds bone screws and anterior cervical plate in place	One size only	$650.00

Prostheses List by Category, Groups and Sponsor	Page 215 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH365	Unity Lumbar Plate	Unity Cover Plate	17-28mm	$650.00

Orthotech Pty Ltd

OH035	Synergy/Polaris Spinal System	Sliders	4.75 - 6.35mm dia	$650.00

OH310	Cosmic implant system	Cosmic Cap - titanium	one size	$650.00

Synthes Australia Pty Ltd

SY412	Lotus System	Cap	One size	$650.00

d - Cap / Cover Plate, C - Complex

Johnson & Johnson Medical Pty Ltd

DY311	Frontier Anterior Scoliosis System (Titanium)	Twist on Internal Cap	One size only	$605.00

JJ647	Expedium Spine System - Dual Innie Set Screw	DI Set Screw	one size only	$605.00

Medtronic Australasia Pty Ltd

MC657	Pyramid	Pyramid Cover Plate and Set Screw	17mm - 35mm length in 2 mm increments	$605.00	$1,271.00

d - Cap/Cover Plate

Synthes Australia Pty Ltd

SY448	Spinal Fixation System	Locking Cap	One Size	$650.00

e - Block / Clamp / Screw head

Johnson & Johnson Medical Pty Ltd

DP453	Isola Paediatric System (Stainless Steel)	Threadless TRC - Closed  or Open Body without or with 	3/16"	$760.00	$920.00

Rod

DY337	Summit Cervical Rod System	Open Cable Connector	One size only	$760.00

JJ599	Mountaineer OCT Spinal System	Transverse Connector Plate	21 - 56mm	$760.00

Lifehealthcare Pty Ltd

LH311	ICON Modular Spinal Fixation System	Multi-axial body assembly	5.5mm	$760.00

Medtronic Australasia Pty Ltd

MC294	Vertex Spinal System	Occipital Buttons	Bolt 6 - 30 mm Length	$760.00

MC307	Vertex Spinal System	Occipital Buttons	Nut 12mm Diameter	$760.00

MC377	Colorado Spinal System	Colorado 2 Clamp	.	$760.00

MC434	Colorado Spinal System	Connector for Sacral & Ilio-Sacral Plate	One size only	$760.00

MC608	TSRH	Connector	Small, Medium, Large	$760.00	$1,055.00

Prostheses List by Category, Groups and Sponsor	Page 216 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH048	Synergy/Polaris Spinal System	Variable Locking Screw Seat	5.5-6.35mm	$760.00

OH050	Synergy/Polaris Spinal System	Variable Locking Screw Reduction Seat	4.75-6.35mm	$760.00

Scient'x Australia

SX005	Isobar TTL	Clamp	Snap-on, Short, Long and Monobloc	$760.00

SX016	Easys	Straddler - titanium alloy	one size	$760.00

Stryker Australia Pty Ltd

SK250	Trio Spinal Fixation System	Titanium - Offset Connector, Two Step Locking 	Offset Connector - Small, Medium, Large	$760.00

Connector, Variable Offset Connector

Surgical House

SU082	Double loop	Hook/screw & rod spinal system component	Left & right, 3.5 & 5.0mm	$650.00	$760.00

SU198	Olerud ME-Connector	Titanium. For polyaxial connection of Olerud cervical 	for use with 3mm and 4mm Olerud screws	$760.00

pedicle screws to rod, claws etc for fixation of the cervical

spine.

Synthes Australia Pty Ltd

SY178	Spinal Fixation System	Pedicle screw head	5 - 6mm	$760.00

SY382	Axon Occipital Fusion System	Occipital Clamp Titanium Alloy	1 or 2 holes	$760.00	$1,000.00

SY414	USS Micro-Crosslink	Crosslink Clamp	One size only	$400.00	$1,174.00

SY415	USS Micro-Crosslink	Crosslink Clamp Rod	One size only	$400.00	$1,283.00

Zimmer Pty Ltd

ZI488	Silhouette Transverse Connector Insert	Titanium	one size only	$760.00

f - Other

Global Orthopaedic Technology

GO084	Incompass	Thoracolumbar Fixation System, Open Implant Closure 	5.5mm	$400.00

Top

GO103	Pathfinder	Minimally invasive pedicle fixation system	Open Implant Closure Top 5.5mm	$400.00

Johnson & Johnson Medical Pty Ltd

DP422	Moss Miami 4mm Anterior System (SS)	12 Sided Outie	One size only	$400.00

DP459	Isola System (Titanium)	Jaw Clamp	1/4" & 3/16"	$400.00

DP474	Isola System (Stainless Steel)	Jaw Clamp	1/4" & 3/16"	$400.00

Prostheses List by Category, Groups and Sponsor	Page 217 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP580	Kaneda Anterior Scoliosis System  S/S	Radiused Caps for Open Screws	3/16" 	$400.00

DY109	Carbon Fibre Cages	Stackable Cage Titanium Protective Sleeve	5-15mm	$225.00

DY185	Monarch Spinal System	Plate J-Hooks	3.5 - 11 mm	$400.00	$550.00

DY344	Summit Cervical Rod System	Transverse Connector Hook	One size only	$550.00

Nuvasive Australia and NZ  Pty Ltd

NV009	Gradient Cervical Plates	Slotted Hole/Round Cover assembly	one size	$400.00

Scient'x Australia

SX015	Easys	Connector Bar - titanium	L: 40-100mm	$400.00

Surgical House

SU077	Cross bar clamp	Hook/screw & rod spinal system component	For 7mm rod, for 6mm rod	$400.00	$950.00

SU078	Cross bar	Hook/screw & rod spinal system component	30,45 & 60mm	$400.00

SU199	Olerud PF Blocks	Titanium, Threaded or Non-threaded, 0, 10, 13mm offset	To suit 7mm Olerud PF Rods	$400.00	$1,200.00

Synthes Australia Pty Ltd

SY006	Click'X Spinal Fixation System	Cap	One size only	$424.00

SY008	VentroFix	Clamp	Single, Double, Fracture, Left, Right	$1,500.00

SY144	Universal Spine System (USS)	Fracture Clamps	Cranial, Standard, Low Profile	$400.00	$1,278.00

SY146	Universal Spine System (USS)	Cross Link Rod	40-80mm length 	$400.00

SY307	Pangea Spinal System	Locking Cap	One size only	$424.00

SY326	Spinal Plate/Plate System AO/ASIF Spinal Implants	Internal fixator - cross link clamp	One size only	$400.00	$1,174.00

SY357	ECD - Expandable Corpectomy Device	Locking clip, PEEK/Titanium	Universal	$300.00

SY359	Universal Spine System (USS)	Fracture Clamps	Cranial, Standard, Low Profile	$400.00	$1,278.00

SY361	Universal Spine System (USS)	Cross Link Rod	40 - 80mm Length	$400.00

Zimmer Pty Ltd

ZI478	Silhouette Spinal System I	Adjustable Transverse Connector Rod	1 size	$400.00

ZI664	Incompass	Thoracolumbar Fixation System, Open Implant Closure 	5.5mm	$400.00

Top

ZI682	Pathfinder	Minimally invasive pedicle fixation system	Open Implant Closure Top 5.5mm	$400.00

Prostheses List by Category, Groups and Sponsor	Page 218 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 3 - Fixation: Cable

Group 3a - Cable, Single Ended

Lifehealthcare Pty Ltd

LH274	Blackstone - Posterior Cervical System	Single Loop Cable w/Two Crimps - Titanium	One size only	$412.00

Medtronic Australasia Pty Ltd

MC417	Orfil	Stainless Steel - Wire Spool	1-350mm	$375.00

MC441	Atlas Cable System (SS)	Single w/crimp and bar	One size only	$412.00

MC444	Atlas Cable System (Ti)	Single (loop end) w/crimp	One size only	$412.00

Synthes Australia Pty Ltd

SY276	Spine Cable System	Single Lead	One size only	$412.00

Group 3b - Cable, Double Ended

Lifehealthcare Pty Ltd

LH273	Blackstone - Posterior Cervical System	Double  Loop Cable w/Four Crimps - Titanium	One size only	$470.00

Medtronic Australasia Pty Ltd

MC442	Atlas Cable System (SS)	Double w/2 crimps	One size only	$470.00

MC445	Atlas Cable System (Ti)	Double w/2 crimps	One size only	$470.00

Orthotech Pty Ltd

OH258	Songer cable system	Double loop titanium spinal cable plus crimps	One size only	$470.00	$520.00

Synthes Australia Pty Ltd

SY277	Spine Cable System	Double Lead	One size only	$470.00

Group 3c - Cable, Lock / Swage

Lifehealthcare Pty Ltd

LH272	Blackstone - Posterior Cervical System	Crimp Two Pack - Titanium	One size only	$170.00

Medtronic Australasia Pty Ltd

MC443	Atlas Cable System (SS)	Crimp	One size only	$170.00

MC446	Atlas Cable System (Ti)	Crimp	One size only	$170.00

Prostheses List by Category, Groups and Sponsor	Page 219 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH259	Songer Cable System - 2 Crimps	Titanium	One size only	$170.00	$250.00

C - Complex

Zimmer Pty Ltd

ZI708	Universal Clamp	Universal Clamp	5.5mm	$760.00	$1,850.00

Group 3e - Wires, Strands

Johnson & Johnson Medical Pty Ltd

DP480	Isola System (Stainless Steel)	Wire with Button or Beaded Wire	18 and 20 gauge wire	$65.00

Medtronic Australasia Pty Ltd

MC506	Orfil	Double Pearl-Tipped Wires	1 - 350mm	$65.00	$166.00

Orthotech Pty Ltd

OH260	Hartshill	Wire (packet 10) stainless steel	1.2mm diam & 0.9mm diam	$65.00	The price indicated is per unit and there are 10

units per pack.

Group 4 - Fixation: Connector

Group 4a - Connector, In-line

Austspine Pty Ltd

AJ012	Denali Spinal System / In-Line Fixation Connector	In-line connector for linking rods	Varied	$760.00

Johnson & Johnson Medical Pty Ltd

DP305	Moss Miami (Stainless Steel)	Axial Connector	5mm/5mm and 5mm/7mm	$760.00

DP413	Moss Miami (Titanium)	Axial Connector	5mm/5mm	$760.00

DP462	Isola System (Stainless Steel)	Wedding Band	1/4 " & 3/16"	$760.00

DP466	Isola System (Titanium)	Wedding Band	1/4" & 3/16"	$760.00

DP490	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	$760.00

DY184	Monarch Spinal System	Dual Rod Connectors End to End or Side by Side	6.35 to 6.35mm or 6.35 to 5.5mm or 6.35 to 	$760.00

4.75mm

DY518	Isola System (Stainless Steel)	Domino Connector	1/4" & 3/16"	$760.00

JJ635	Expedium Spine System – Dual Rod Connector	Dual Rod Connector	4.75, 5.5 & 6.35mm	$760.00

Prostheses List by Category, Groups and Sponsor	Page 220 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ794	Mountaineer OCT Spinal System	Dual Rod Connectors	3.5 - 3.5mm, 3.5 - 4.75mm, 3.5 - 5.5mm, 3.5	$760.00

- 6.35mm

JJ795	Mountaineer OCT Spinal System	Adjustable axial Connector	3.5 - 3.5mm, 3.5 - 4.75mm, 3.5 - 5.5mm	$760.00	$1,060.00

Medtronic Australasia Pty Ltd

MC407	CD Horizon	Domino	3.2mm, 3.5mm, 4.5mm, 5,5mm, 6.35mm	$760.00

MC409	CD Horizon	Domino & Axial Connector	4.5mm, 5.5mm and 6.35mm	$760.00

MC542	Vertex Spinal System	Connector	Length 10 - 13mm; diameter 3.2 - 6.35mm	$760.00

MC635	CD Horizon	Legacy In-Line Connector	Length 40-110mm	$760.00	$1,600.00

Orthotech Pty Ltd

OH205	Altius Occipito-Cervico-Thoracic (OCT) System	Domino Adjustable CC Left & Right	One size only	$760.00

Stryker Australia Pty Ltd

HW386	Xia Spine System	Rod Clamp - Parallel, Axial	One size only	$760.00

Synthes Australia Pty Ltd

SY011	VentroFix	Parallel connector	6.0/6.0mm	$760.00	$919.00

SY015	CerviFix Posterior Cervical System	Parallel connector	3.5/3.5, 3.5/5.0, 3.5/6.0	$760.00	$919.00

SY147	Universal Spine System (USS)	Connectors	Parallel, In-line, Transverse, SS, 15 - 25mm	$760.00	$1,000.00

SY442	Synapse	Parallel Connector	3.5/3.5-6.0mm	$760.00	$919.00

Zimmer Pty Ltd

ZI609	Optima Spinal Fixation System	Optima Spinal Fixation System - Rod Connectors	Small, Large, 2 Hole, 3 Hole, 4 Hole	$760.00	$919.00

C - Complex

Johnson & Johnson Medical Pty Ltd

DP495	Isola Paediatric System (Stainless Steel)	Growth/Tandem Connector	3/16"	$1,060.00

JJ792	Expedium 4.5 System Tandem Connectors	Expedium extended growth Tandem Connectors	40 - 80mm	$1,060.00	$1,670.00

Prostheses List by Category, Groups and Sponsor	Page 221 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 4b - Connector, Offset

Austspine Pty Ltd

AJ011	Denali Spinal System / Offset Fixation Connector	Offset connector for linking rods	Varied	$760.00

Global Manufacturing Technology Pty Ltd

GM029	Optimal Spinal System	Axial/Lateral Connectors	Various	$760.00	$1,055.00

GM065	Maxima/Optima Anterior Cervical Plate System	Axial/Lateral Connections	7.5mm-30mm	$600.00

Global Orthopaedic Technology

GO086	Incompass	Thoracolumbar Fixation System, Offset Connector Open	9.5 - 30mm	$760.00	$817.00

GO087	Incompass	Thoracolumbar Fixation System, Offset Connector Closed	7.5 - 30mm	$760.00	$817.00

GO106	OctaFix	Occipital Cervical Plating System	Screw Offset Connector	$600.00	$759.00

Johnson & Johnson Medical Pty Ltd

DP060	VSP System (Stainless Steel)	Sacral Connector - Left & Right Offset	One size only	$760.00

DP454	Isola System (Titanium)	Slotted Connectors Standard or Extended or Offset or 	1/4" & 3/16"	$760.00

Angled or Open or Twister

DP469	Isola System (Stainless Steel)	Slotted Connectors  - Standard or Extended or Offset or 	1/4" & 3/16"	$760.00

Angled or Open or Twister

DP842	Moss Miami (Stainless Steel)	Sacral Extender	5mm x 5 - 20mm length	$760.00

DP843	Moss Miami (Titanium)	Sacral Extender	5.5mm x 5 - 20mm in length	$760.00

DY094	Isola Paediatric System	Stainless Steel, Slotted Connector Downsized	3/16"	$760.00

DY179	Monarch Spinal System	Slotted Connectors (Straight/Extended/Offset/Twister/Mini 	One size only	$760.00

Offset)

DY186	Monarch Spinal System	Band Clamp Connector	6.35 & 5.5mm	$760.00

DY342	Summit Cervical Rod System	Connectors Left or Right or Neutral	One size only	$600.00

DY443	Summit SI System	Connectors	Various	$600.00

DY519	Isola System (Stainless Steel)	Offset Connector	1/4" & 3/16"	$760.00

JJ607	Expedium Spine System	Lateral Connector, Open or Closed	5.5-6.35mm x 20 - 500mm length	$760.00

Prostheses List by Category, Groups and Sponsor	Page 222 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ692	Mountaineer OCT Spinal System - Lateral Offset, Cable 	Lateral Offset, Cable and J Hook Connector	One size only	$760.00

and J Hook Connector

Lifehealthcare Pty Ltd

LH312	ICON Modular Spinal Fixation System	Offset body assembly	8, 11, 14mm	$600.00	$760.00

LSS Surgical Pty Limited

LS008	Solas Spinal System	Axial/Lateral Connectors	Small to Large	$760.00

Medtronic Australasia Pty Ltd

MC376	Colorado Spinal System	Colorado 2 Connector	For 5mm rod and 5.5mm rod	$760.00

MC665	Engage	Connector	Small, Medium, Large	$760.00

MC668	CD Horizon	Legacy lliac Lateral Connector	20mm and 30mm Length	$760.00

MC676	SiLo	Lateral Connector	10-40mm	$760.00

Orthotech Pty Ltd

OH042	Synergy/Polaris Spinal System	Lateral Connectors (Closed Rod)	4.75 - 6.35mm	$760.00	$920.00

OH350	Novel cross link	Cross Link	16-56mm	$760.00	$950.00

Stryker Australia Pty Ltd

HW391	Xia Spine System	Connector - Axial, Dual, Offset	4.5mm - 6mm	$760.00

HW392	Xia Spine System	Sacral Block	One size only	$760.00

Surgical House

SU090	Screw link  	Hook/screw & rod spinal system component	0 degrees, 15 degrees, 30 degrees	$760.00

Synthes Australia Pty Ltd

SY012	CerviFix Posterior Cervical System	Clamp	Left, Right, Medial, Lateral, Pedicle, Lamina	$600.00

SY287	USS llio-Sacral Fixation system	Transconnecting bar	One size only	$760.00	$1,100.00

SY288	USS llio-Sacral Fixation system	Sacral clamp	One size only	$760.00	$1,420.00

SY310	Axon Spinal System	transverse bar	one size only	$600.00

SY366	Axon Spinal System	transverse bar	one size only	$600.00

Zimmer Pty Ltd

ZI610	Optima Spinal Fixation System	Optima Spinal Fixation System - Rod Connectors	Various Sizes - Open & Closed	$760.00	$919.00

ZI666	Incompass	Thoracolumbar Fixation System, Offset Connector Open	9.5 - 30mm	$760.00	$817.00

Prostheses List by Category, Groups and Sponsor	Page 223 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI667	Incompass	Thoracolumbar Fixation System, Offset Connector Closed	7.5 - 30mm	$760.00	$817.00

ZI685	OctaFix	Occipital Cervical Plating System	Screw Offset Connector	$600.00	$759.00

ZI697	Java screw system	Sacral fixation	Left and right	$760.00	$1,550.00

1 - System

Johnson & Johnson Medical Pty Ltd

JJ739	Expedium Spine system	Open and closed Polyaxial connectors with or without end 	5.5 x 6.35 x 20-200mm	$760.00	$960.00

tab

Group 4c - Connector, Transverse (Rod-to-Rod)

Austofix

AX058	Capless LI  Pedicle screw system - X Link cross 	Titanium, lowprofile transverse crossconnector	low profile, multiple sizes, 25-35mm	$920.00

connector - Fixed

B Braun Australia Pty Ltd

BB228	S4 Spinal System	S4 Cross & Lateral Offset Connector	Rigid 7 - 41mm	$920.00	$1,250.00

Global Manufacturing Technology Pty Ltd

GM031	Optimal Spinal System	Traverse Link Assembly	40 to 80mm	$920.00

GM063	Maxima/Optima Anterior Cervical Plate System	Traverse Link assembly	44mm - 75mm	$920.00

Global Orthopaedic Technology

GO081	Nex-Link	Spinal Fixation System, Transverse Connectors	4.00mm Rod x 25mm - 45 length	$760.00	$800.00

Johnson & Johnson Medical Pty Ltd

DP450	Kaneda SR (Smooth Rod)  Anterior  (TI)	Plates	Small/Large -  Caudal or Rostral	$920.00

DP451	Kaneda SR (Smooth Rod)  Anterior  (TI)	Transverse Coupler	1/4" x 13 - 16mm	$920.00

DY100	Isola System (Stainless Steel)	Threadless TRC - Closed or Open Body with or without 	1/4" & 3/16"	$920.00

Rod

JJ652	Cross Connector - Expedium Anterior Spine System	Drop and Lock One Piece Connector-Titanium	13 to 20mm	$920.00

Orthotech Pty Ltd

OH041	Synergy/Polaris Spinal System	Fixed Transverse Connectors	10.5 - 31.5mm	$920.00	$1,200.00

Prostheses List by Category, Groups and Sponsor	Page 224 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH308	Cosmic implant system	Cosmic Cross Links - titanium Bonit coating	cosmic transversal stabilizer, drop on left	$920.00	$1,500.00

cosmic transversal stabilizer, drop on right

Stryker Australia Pty Ltd

SK227	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Transverse Connector; Offset Connector; 	$760.00

Rod to Rod Connector

SK241	Xia Spinal System	Titanium or Stainless Steel Cross Connector	15-20mm	$920.00

Zimmer Pty Ltd

ZI661	Nex-Link	Spinal Fixation System, Transverse Connectors	4.00mm Rod x 25mm - 45 length	$760.00	$800.00

1 - System

Austofix

AX057	Capless LI  Pedicle screw system - X Link cross 	Titanium, lowprofile transverse dual articulation 	Low profile, Multiple sizes, 37-80mm	$1,350.00

connector - Variable	crossconnector

Austspine Pty Ltd

AJ004	Preference - II pedicle screw system	Cross Link for Preference-II Pedicle Screw Fixation System	4 sizes: 45mm, 55mm, 70mm and 90mm	$1,350.00

AJ023	Smartloc Spinal Fixation System/Transverse Link	Cross link for Smartloc Spinal Fixation System	Telescopes to 70mm	$1,350.00

AJ027	Mesa Spinal System / Natural Bridge Adjustable 	Adjustable Transverse Connector	Small: 38mm-43mm, Medium: 43mm-53mm, 	$1,350.00

Transverse Connector	Large: 53mm-73mm, X-Large: 73mm-93mm

B Braun Australia Pty Ltd

BB229	S4 Spinal System	S4 Cross, Rod & Cable Connector - Titanium	Variable 28 - 75mm	$1,350.00	$1,500.00

Global Manufacturing Technology Pty Ltd

GM075	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium alloy	5.5 - 6mm x 15 - 35mm	$1,350.00	$1,450.00

GM076	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - Titanium alloy	5.5 - 6mm x 39.5 - 75mm	$1,350.00	$1,670.00

Johnson & Johnson Medical Pty Ltd

DP301	Moss Miami (Stainless Steel)	Transverse Connector - Complete	One size only	$1,350.00

DP412	Moss Miami (Titanium)	Transverse Connector - Complete	One size only	$1,350.00

DP470	Isola System (Stainless Steel)	Transverse Rod Connector or Dual Rod Connector	1/4" & 3/16"	$1,350.00

DP499	Isola System (Titanium)	Transverse Connector or Dual Rod Connector	1/4" & 3/16"	$1,350.00

Prostheses List by Category, Groups and Sponsor	Page 225 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY289	Crossover System (Titanium)	Crossconnector	Small 18-30mm	$1,350.00

DY290	Crossover System (Titanium)	Crossconnector	Medium 32-45mm	$1,350.00

DY292	Crossover System (Titanium)	Crossconnector	Large 45-107mm	$1,350.00

DY306	Isola System (Titanium)	Threadless TRC - open body with or without rod	1/4" & 3/16"	$1,350.00

DY336	Summit Cervical Rod System	Cross Connector	One size only	$1,350.00

JJ766	Expedium SFX Cross Connector System	Fixed Length Cross Connector	15mm - 36mm Length, 4.5, 5.5, 6.35mm rod 	$1,350.00

diameter

JJ767	Expedium SFX Cross Connector System	Variable Length Cross Connector	26mm - 100 mm Length, 4.5, 5.5, 6.35mm 	$1,350.00

rod diameter

Lifehealthcare Pty Ltd

LH239	Spinal Fixation System	Multi Axial Cross Connector Assembly - Titanium/Lateral 	30mm - 75mm in 5mm increments	$1,350.00

Offset

LH278	Blackstone - Posterior Cervical System	Cross-Connector	20, 25, 30, 35, 40, 45, 50mm	$1,350.00

LSS Surgical Pty Limited

LS002	Solas Spinal System	Traverse Link Assembly	30mm - 120mm	$1,350.00

LS016	SOCORE Spinal System - Crosslink	Crosslink	45mm, 55mm, 65mm	$1,350.00

Medtronic Australasia Pty Ltd

MC408	CD Horizon	Crosslink, Plate, Multi-span late, Offset plate, Transverse 	60 - 200mm	$1,350.00

links

MC496	Tenor	Transverse Links - Titanium	40-100mm	$1,350.00

MC590	Vertex Reconstruction System Crosslink Bar	Composition -  titanium alloy. The system allows for the 	One size only	$1,350.00

adaptation of components from other Sofamor Danek

systems to provide for constructs tailor made for individual

cases.

MC634	CD Horizon	X10 Crosslink	Multi-Span Plate: 25-81mm	$1,350.00	$2,990.00

MC708	CD Horizon	X10 Crosslink	Fixed Plate: 16-31mm	$1,350.00

Nuvasive Australia and NZ  Pty Ltd

NV003	SpheRx	Transverse X-Connector	45 - 100mm	$1,350.00

Orthotech Pty Ltd

OH040	Synergy/Polaris Spinal System	Adjustable Transverse Connector With Rod/Clamp	3 - 6cm	$1,350.00

Prostheses List by Category, Groups and Sponsor	Page 226 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH197	Array Spinal System	Titanium Alloy Modular Spinal System - cross connector	Large, Medium, Small, Xsmall, 24mm, 22mm,	$1,350.00

20mm, 18mm, 16mm

OH206	Altius Occipito-Cervico-Thoracic (OCT) System	Connector	15, 30,  45 L&R	$760.00

Stryker Australia Pty Ltd

HW390	XIA Spine System	Cross Link	Length 20mm - 99mm	$1,350.00

Synthes Australia Pty Ltd

SY250	Universal Spine System	Low Profile Transconnector	18-83mm length	$1,350.00	$2,456.00

SY398	Axon Spinal System - Transconnector	Axon Transconnector	60mm - 75mm	$1,350.00

Zimmer Pty Ltd

ZI510	Optima Spinal System - Transverse Link Assembly	Transverse Link Assembly	Small, Medium, Large	$1,350.00

ZI623	SEQUOIA PEDICLE SCREW SYSTEM	SpeedLink II Ti	Small, Medium, Large	$1,350.00

ZI644	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium alloy	5.5 - 6mm x 15 - 35mm	$1,350.00	$1,450.00

ZI645	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - Titanium alloy	5.5 - 6mm x 39.5 - 75mm	$1,350.00	$1,670.00

ZI704	Java screw system	Transverse connector	Length 52, 62, 72, 82	$1,350.00

Group 5 - Fixation: Hook

Group 5a - Hook, Open

Austspine Pty Ltd

AJ014	Denali Spinal System / Open Hook	Thoracic and Lumbar Open Hooks	Various blade and throat sizes	$820.00

AJ037	Caspian OCT Spinal System - Hook	cervico-thoracic posterior rigid fixation system	3.5mm Posterior Cervical hook	$820.00

B Braun Australia Pty Ltd

BB002	Aesculap Hook System	Laminar Hook, Left & Right	Thick & Thin	$820.00

Global Manufacturing Technology Pty Ltd

GM020	Optimal Spinal System	Hooks-open & closed-pedical & laminar	Various	$820.00

GM064	Maxima/Optima Anterior Cervical Plate System	Hooks Open & Closed - Pedicle & Laminar	6.5mm-11mm	$820.00

GM073	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm	$820.00

Prostheses List by Category, Groups and Sponsor	Page 227 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Orthopaedic Technology

GO091	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

Johnson & Johnson Medical Pty Ltd

DP299	Moss Miami (Stainless Steel)	Hooks - Pedicle	One size only	$820.00

DP300	Moss Miami (Stainless Steel)	Hooks - Laminar as Wide or Narrow or Angled or 	Various Sizes	$820.00

Reduced Distance Supra-laminar or Offset or Extended

Body

DP329	Moss Miami (Stainless Steel)	Hooks - Translation (Pedicle/Reduced 	One size only	$820.00

Distance/Narrow/Wide Blade)

DP410	Moss Miami (Titanium)	Hooks - Pedicle	3-5 mm	$820.00

DP411	Moss Miami (Titanium)	Hooks - Laminar as Wide or Narrow or Angled or 	One size only	$820.00

Reduced Distance Supra-laminar or Offset or Extended

Body

DP418	Moss Miami (Titanium)	Hooks - Translation	One size only	$820.00

DP465	Isola System (Titanium)	Open Hook and / or Cap	1/4" & 3/16" x 5-11mm	$400.00	$820.00

DP472	Isola System (Stainless Steel)	Open Hook Cap or Open	1/4" & 3/16" x 5-11mm	$820.00

DP487	Isola Paediatric System (Stainless Steel)	Side Tightening Hook - Opened/Closed	3/16" x 3.5mm - 11mm	$820.00

DP845	Moss Miami 4mm Anterior System (SS)	Hooks	4mm	$820.00

DY304	Monarch Spinal System	Hooks - Open (Pedicle/Narrow Tapered/Wide Blade)	5-11mm	$820.00

DY438	Expedium Spine System	Hooks, Right, Left, Angled, Offset, Extended, Reduced 	8 - 10mm including narrow - wide	$820.00

Bladed

JJ595	Mountaineer OCT Spinal System	CT Hook	3.5mm - Small, Medium, Large	$820.00

JJ761	Moss Miami (Titanium)	Slotted Hook	One Size	$820.00	$1,050.00

JJ765	Moss Miami (Stainless Steel)	Slotted Hook	One Size	$820.00

Lifehealthcare Pty Ltd

LH270	Blackstone - Posterior Hook	Titanium	Large/Angled/Offset/Left/Right/Narrow/Wide/	$820.00

ThoracicLaminar/Lumbar Laminar

LSS Surgical Pty Limited

LS014	SOCORE Spinal Spinal - Hooks, Pedicle/Laminar	Hooks, Pedicle/Laminar	Standard, Medium and Offset	$820.00

LS024	Solas Spinal System	Hooks open, Pedicle and Lamina	4mm -11mm	$820.00

Prostheses List by Category, Groups and Sponsor	Page 228 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC375	Colorado Spinal System	Open Hooks	5.5mm - 6.35mm	$820.00

MC397	TSRH Spinal Implant System	3D - Hook, Offset, left, right, laminar, pedicle, Stainless 	Large - small	$820.00

steel, Titanium

MC406	CD Horizon	Hook - various	Small, Medium or Large	$820.00

MC591	Vertex Reconstructive System Laminar Hook	Composition -  titanium alloy	4.5mm / 5.5mm	$820.00

MC677	SiLo	Hook	Right, left, front	$820.00

Nuvasive Australia and NZ  Pty Ltd

NV004	SpheRx	Hooks	one size	$820.00

Orthotech Pty Ltd

OH038	Synergy Spinal System	Open/Closed Offset Hooks	4mm	$820.00	$950.00

OH039	Synergy Spinal System	Open/Closed Hooks Pedicle/Laminar	4.75 - 6.35mm dia	$820.00	$950.00

OH198	Array Spinal System	Titanium Alloy Modular Spinal System - laminar hook and 	one size	$820.00	$990.00

pedicle hook

OH208	Altius Occipito-Cervico-Thoracic (OCT) System	Hook and OC Screws	Hook:  12mm to 14mm (L&R), OC Screws: 	$820.00	$1,200.00

6mm to 20mm

Scient'x Australia

SX006	Isobar TTL	Hooks	Small, Large, offset	$820.00

Stryker Australia Pty Ltd

HW405	Xia Spine System	Hooks	Laminar and Pedicle Hooks	$820.00	$1,375.00

SK222	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Hook, Standard Short; Hook, Standard Tall; 	$820.00

Hook, Offset, Right; Hook Offset, Left

Surgical House

SU093	Lamina hook short	Hook/screw & rod spinal system component, left & right	Short & long	$820.00

SU094	Lamina compression hook	Hook/screw & rod spinal system component	c1-claw	$820.00

Synthes Australia Pty Ltd

SY306	Pangea Spinal System	Pedicle and Lamina Hooks	Extra small to Extra Large	$820.00

SY325	Universal Spine System	Hook	Small, Medium, Large, Lamina, Thoracic, 	$820.00

Pedicle

SY443	Synapse	Lamina Hook, Top Loading	right, left, straight, short, long	$820.00

Prostheses List by Category, Groups and Sponsor	Page 229 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI527	Optima Spinal Fixation System - Hooks	Titanium Alloy	Various	$820.00

ZI642	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm	$820.00

ZI671	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

Group 5b - Hook, Closed

Austspine Pty Ltd

AJ013	Denali Spinal System / Closed Hook	Thoracic and Lumbar Closed Hooks	Various blade and throat sizes	$820.00

Global Manufacturing Technology Pty Ltd

GM095	Optimal Spinal System	Hooks - open & closed - pedical & laminar	Various	$820.00

Global Orthopaedic Technology

GO121	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

Johnson & Johnson Medical Pty Ltd

DP464	Isola System (Titanium)	Closed Hooks	1/4" x 3/16" x 5-11mm	$820.00

DP471	Isola System (Stainless Steel)	Closed Hooks	1/4" & 3/16" x 5-11mm	$820.00

DY178	Monarch Spinal System	Hooks - Closed (Narrow Tapered / wide Blade)	5 - 11 mm	$820.00

LSS Surgical Pty Limited

LS025	Solas Spinal System	Hooks closed, Pedicle and Lamina	4mm - 11mm	$820.00

Medtronic Australasia Pty Ltd

MC724	Colorado Spinal System	Closed Hooks	5.5mm-6.35mm	$820.00

Orthotech Pty Ltd

OH244	Synergy Spinal System	Infant Hooks	4.75mm	$820.00	$980.00

Synthes Australia Pty Ltd

SY013	CerviFix Posterior Cervical System	Hook	Small, Large, Left, Right	$820.00

Zimmer Pty Ltd

ZI692	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

C - Complex

Synthes Australia Pty Ltd

SY039	Spinal Plate/Plate System AO/ASIF Spinal Implants	Spondylolysis hook screw (complete) small & large	Screw 45 - 60mm	$820.00

Prostheses List by Category, Groups and Sponsor	Page 230 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 6 - Fixation: Plate

Group 6a - Plate, Integral Fixation

Austofix

AX061	Spider Cervical Plating System - Spider Plate	Titanium, Anterior Cervical Plate System -	22-54mm	$1,400.00	$1,600.00

Austspine Pty Ltd

AJ032	Cayman Thoracolumbar Plate System / Plate	A thoracolumbar plate system consisting of plates of 	22mm to 109mm	$2,400.00

various lengths and sizes and a range of fixation screws

Global Manufacturing Technology Pty Ltd

GM026	Maxima/Optima Anterior Cervical Plate System	Anterior Cervical Plates	24mm to 108mm	$1,400.00	$1,600.00

GM080	AcuFix	1 segment SlimLine plate - Anterior cervical plate system - 	20 - 34mm	$1,400.00	$1,550.00

Titanium

GM081	AcuFix	2 segment SlimLine plate - Anterior cervical plate system - 	34 - 54mm	$1,400.00	$1,550.00

Titanium

GM082	AcuFix	3 segment SlimLine plate - Anterior cervical plate system - 	47 - 71mm	$1,400.00	$1,800.00

Titanium

GM084	AcuFix	2 segment Corpectomy plate - Anterior cervical plate 	34 - 54mm	$1,400.00	$1,550.00

system - Titanium

GM085	AcuFix	3 segment Corpectomy plate - Anterior cervical plate 	53 - 77mm	$1,400.00	$1,800.00

system - Titanium

GM098	AcuFix	2 segment SlimLine plate - Anterior cervical plate system - 	34 - 54mm	$1,400.00	$1,450.00

Titanium

GM099	AcuFix	3 segment SlimLine plate - Anterior cervical plate system - 	47 - 71mm	$1,400.00	$1,800.00

Titanium

Global Orthopaedic Technology

GO093	AcuFix	1 segment ThinLine plate	20 - 36mm	$1,400.00	$1,550.00

GO094	AcuFix	2 segment ThinLine plate	34 - 54mm	$1,400.00	$1,550.00

GO095	AcuFix	1 segment Ant-Cer dynamic plate	24 - 32mm	$1,400.00	$1,550.00

GO096	AcuFix	2 segment Ant-Cer dynamic plate	34 - 54mm	$1,400.00	$1,550.00

GO097	AcuFix	3 segment Ant-Cer dynamic plate	50 - 71mm	$1,400.00	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 231 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY522	Slim-loc Anterior Cervical Plate System	Plates - various levels	22-55mm	$1,400.00	$1,800.00

DY523	Swift Spine System	Titanium Anterior Cervical Plate System - Various size 	15 - 55mm	$1,400.00	$1,800.00

plates

DY524	Uniplate ACP System	Titanium Anterior Cervical Plate	13-55mm	$1,400.00	$1,600.00

DY525	Swift Spine System	Titanium Anterior Cervical Plate System - Corpectomy Plate	46-55mm	$1,400.00	$1,800.00

JJ518	AEGIS ALP	Curved anterior lumbar plate	4-25mm	$2,400.00

JJ695	Mountaineer OCT Spinal System - OC Plate	Titanium Occipital Plate	31 - 45mm	$1,400.00	$1,740.00

JJ800	Skyline Cervical Plate System	Skyline anterior cervical plate. Various size plates, Titanium	12-55mm	$1,400.00	$2,010.00

Lifehealthcare Pty Ltd

LH363	Unity Lumbar Plate	Unity Plate	17-28mm	$2,400.00

LH429	Blackstome Medical Inc Anterior Cervical Plate System	Titanium alloy plate L1-L2	22mm - 54mm	$1,400.00

LH430	Blackstone Medical ACP - Level 1 & 2	Titanium Alloy ACP L1-L2	22mm - 54mm	$1,400.00

LSS Surgical Pty Limited

LS026	MATRIS Cervical Plate System	Cervical Plate 20mm to 55mm	< 55	$1,400.00	$2,700.00

Medtronic Australasia Pty Ltd

MC346	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and Nitinol	20mm - 50mm	$1,400.00	$1,500.00

MC418	Atlantis Anterior Cervical Plate	Plate	19.0mm -  47.5mm	$1,400.00	$1,450.00

MC419	Atlantis Anterior Cervical Plate	Anterior Cervical Plate	50mm - 55mm	$1,400.00	$1,450.00

MC610	Vantage	Vantage plates and Screws; Thoracic Plate	3.5 - 8cm	$2,400.00	$3,700.00

MC612	Vantage	Vantage Plates and Screws; ATL Plate	4 - 10cm	$2,400.00	$3,700.00

MC653	Xantus	Xantus cover Plate and Set Screw	40mm - 100mm Length in 4mm increments	$2,200.00

MC655	Xantus	Xantus Plate	40mm -100mm length in 4mm increments	$2,400.00	$2,675.00

MC661	Pyramid	Pyramid Plate	17mm - 35mm	$2,400.00	$2,675.00

MC706	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and Nitinol	52.5mm - 55mm	$1,400.00	$1,450.00

MC819	Pyramid +4	Anterior Plate	Height: 33mm - 45mm	$2,200.00	$3,700.00

Prostheses List by Category, Groups and Sponsor	Page 232 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC863	Zephir Anterior Cervical Plate	Anterior Cervical Plate	22.5mm - 55mm	$1,400.00	$1,600.00

MC865	Premier Anterior Cervical Plate	Anterior Cervical Plate	23mm - 55mm	$1,400.00	$1,600.00

Nuvasive Australia and NZ  Pty Ltd

NV008	Gradient Cervical Plates	Titanium Anterior Plate	11 - 110mm	$1,400.00

Orthotech Pty Ltd

OH063	Anterior Cervical Plate System	Titanium Locking Plate	20 - 140mm	$1,400.00	$2,600.00

OH240	Vuelock (Anterior Cervical Plate)	Vuelock (Anterior Cervical Plate)	Level 1-4, 12mm - 92mm	$1,400.00	$2,600.00

Scient'x Australia

SX008	Antelys	Plate	H: 19-23mm	$1,400.00	$3,000.00

SX011	Stella	Anterior cervical plate - titanium	L: 21-121mm	$1,400.00

SX024	Lyra plate	Antero-lateral thoraco-lumbar plate	length 40mm; 45mm; 50mm; 55mm; 60mm; 	$2,400.00

65mm; 70mm; 80mm; 90mm 100mm; 110mm

Stryker Australia Pty Ltd

SK488	THOR Anterior Lumbar Plate	Anterior Lumbar Plate, one level, compression, non 	22mm to 40mm	$2,200.00

compression

SR085	Reflex Anterior Cervical Plate System	Plate	≤55mm	$1,400.00

Synthes Australia Pty Ltd

SY139	Spinal Plate/Plate System AO/ASIF Spinal Implants	Anterior thoracolumbar plate - locking	40mm - 109mm	$2,400.00	$3,168.00

SY290	Anterior Tension Band	Plate	30mm to 110mm	$2,200.00	$2,833.00

Zimmer Pty Ltd

ZI489	Trinica Select Anterior Cervical Plate	Titanium plate for anterior cervical spine. Used to assist 	Plates for 1 or 2 levels are from 22 to 52mm 	$2,400.00

spinal fusion.  Attached to the bone using screws.	long in 2mm increments; Plates for 3 levels are

from 51-72mm long in 3mm increments

ZI518	Trinica Anterior Lumbar Plate	Lumbar Plate, Titanium	37-51mm lengths	$2,400.00

ZI519	Trinica Anterior Lumbar Plate	Sacral Plate, Titanium	33-51mm lengths	$2,400.00

ZI649	AcuFix	1 segment SlimLine plate - Anterior cervical plate system - 	20 - 34mm	$1,400.00	$1,550.00

Titanium

ZI650	AcuFix	2 segment SlimLine plate - Anterior cervical plate system - 	34 - 54mm	$1,400.00	$1,550.00

Titanium

Prostheses List by Category, Groups and Sponsor	Page 233 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI651	AcuFix	3 segment SlimLine plate - Anterior cervical plate system - 	47 - 71mm	$1,800.00

Titanium

ZI652	AcuFix	4 segment SlimLine plate - Anterior cervical plate system - 	68 - 92mm	$1,800.00

Titanium

ZI653	AcuFix	2 segment Corpectomy plate - Anterior cervical plate 	34 - 54mm	$1,400.00	$1,550.00

system - Titanium

ZI654	AcuFix	3 segment Corpectomy plate - Anterior cervical plate 	53 - 77mm	$1,800.00

system - Titanium

ZI655	AcuFix	4 segment Corpectomy plate - Anterior cervical plate 	68 - 101mm	$1,800.00

system - Titanium

ZI656	AcuFix	3 segment SlimLine plate - Anterior cervical plate system - 	47 - 71mm	$1,800.00

Titanium

ZI672	AcuFix	1 segment ThinLine plate	20 - 36mm	$1,400.00	$1,550.00

ZI673	AcuFix	2 segment ThinLine plate	34 - 54mm	$1,400.00	$1,550.00

ZI674	AcuFix	1 segment Ant-Cer dynamic plate	24 - 32mm	$1,400.00	$1,550.00

ZI675	AcuFix	2 segment Ant-Cer dynamic plate	34 - 54mm	$1,400.00	$1,550.00

ZI676	AcuFix	3 segment Ant-Cer dynamic plate	50 - 71mm	$1,800.00

ZI677	AcuFix	4 segment Ant-Cer dynamic plate	68 - 96mm	$1,800.00

ZI707	AcuFix	2 segment SlimLine plate - Anterior cervical plate system - 	34 - 54mm	$1,400.00	$1,450.00

Titanium

1 - Cervical Plate > 55mm

Austofix

AX062	Spider Cervical Plating System - Spider Plate	Titanium, anterior cervical plate system	56-77mm	$1,800.00

Global Manufacturing Technology Pty Ltd

GM083	AcuFix	4 segment SlimLine plate - Anterior cervical plate system - 	68 - 92mm	$1,800.00

Titanium

GM086	AcuFix	4 segment Corpectomy plate - Anterior cervical plate 	68 - 101mm	$1,800.00

system - Titanium

Global Orthopaedic Technology

GO098	AcuFix	4 segment Ant-Cer dynamic plate	68 - 96mm	$1,800.00

Johnson & Johnson Medical Pty Ltd

DY299	Slim-loc Anterior Cervical Plate System	Plates - three level	56-78mm	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 234 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY450	Swift Spine System	Titanium Anterior Cervical Plate System - various size Plates	56-115mm	$1,800.00

DY526	Swift Spine System	Titanium Anterior Cervical Plate System - Corpectomy Plate	56-102mm	$1,800.00

JJ801	Skyline Cervical Plate System	Skyline anterior cervical plate. Various size plates. Titanium	56-105mm	$1,800.00	$2,010.00

Lifehealthcare Pty Ltd

LH192	Blackstone Medical Inc Anterior Cervical Plate System	Titanium alloy plate L3	56mm - 90mm	$1,800.00

LH386	Blackstone Medical ACP - 3 Level	Titanium Alloy Anterior Cervical Plate - 3 Level	56mm - 90mm	$1,800.00

Medtronic Australasia Pty Ltd

MC858	Atlantis Anterior Cervical Plate	Anterior Cervical Plate	57.5mm - 110mm	$1,800.00	$1,870.00

MC859	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and Nitinol	57.7mm - 150mm	$1,800.00	$2,000.00

MC864	Zephir Anteior Cervical Plate	Anterior Cervical Plate	57.5mm - 70mm	$1,800.00	$1,870.00

MC866	Premier Anterior Cervical Plate	Anterior Cervical Plate	57.5mm - 90mm	$1,800.00	$1,870.00

Stryker Australia Pty Ltd

SR084	Reflex Anterior Cervical Plate System	Plate	>55mm	$1,800.00

1 Cervical Plate > 55mm

LSS Surgical Pty Limited

LS027	MATRIS Cervical Plate System	Cervical Plate 57mm to 80mm	> 55	$1,800.00	$2,700.00

C - Complex

Synthes Australia Pty Ltd

SY301	TeleFix Spinal System	Rod/Plate construct	40mm to 140mm in length	$2,400.00	$3,168.00

Group 6b - Plate, No Integral Fixation

Austspine Pty Ltd

AJ039	Pyrenees Cervical Plate	1 and 2 level cervical plate	18mm to 54mm	$1,300.00	$1,700.00

B Braun Australia Pty Ltd

BB135	Aesculap Cervical System	Titanium, rigid	Medium 34 - 64mm length	$1,300.00	$1,600.00

BB153	Aesculap Cervical System	Titanium, rigid	Small 20 - 32mm Length	$1,300.00	$1,400.00

Prostheses List by Category, Groups and Sponsor	Page 235 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB167	MACS Stabilisation Plates	Titanium, rigid	Length 45 - 100mm	$2,200.00

BB248	PACH Plate	Titanium	28 & 32mm	$2,200.00

Global Manufacturing Technology Pty Ltd

GM039	Prima OCT Spinal System	Occiput Plate	One size only	$2,250.00	$2,500.00

Johnson & Johnson Medical Pty Ltd

DP828	Profile Anterior Thoracolumbar Plate System	Plates - Thoracolumbar	50 - 120mm	$2,200.00	$2,490.00

DP829	Profile Anterior Thoracolumbar Plate System	Plates - High Thoracic	40 - 110mm 	$2,200.00	$2,490.00

DY174	Monarch Spinal System	Bone Plate	½ to 1½ or 2 - 3 or 3½	$2,200.00

DY332	Summit Cervical Rod System	Occipital Plates "Y" or "T"	31-45mm	$2,250.00

JJ694	Mountaineer OCT Spinal System -Lateral washer plate	Titanium Occipital - Lateral Washer Plate	One size only	$2,250.00

Lifehealthcare Pty Ltd

LH276	Blackstone - Posterior Cervical System	Occipital Anchor	31, 37, 45, 50mm	$925.00

LH431	Signus Anterior Cervical Plate - L1-L2	Pre-contoured titanium plate, secured onto the spinal 	22mm - 54mm	$1,300.00

vertebrae by either fixed or variable angle colour coded

screws.

LSS Surgical Pty Limited

LS028	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System	22mm to 55mm	$1,300.00	$2,700.00

Medtronic Australasia Pty Ltd

MC293	Vertex Spinal System	Occipital Plate	24 - 40 mm length	$2,250.00	$2,843.00

MC403	Colorado Spinal System	Colorado 2 Plate	Range length 20 - 60mm	$1,670.00

MC432	Colorado Spinal System	Sacral Plate 	Left/right	$1,670.00

MC433	Colorado Spinal System	Ilio-Sacral Plate	Left/right	$1,670.00

Orthotech Pty Ltd

OH209	Altius Occipito-Cervico-Thoracic (OCT) System	TI Occipital Plate	35-45mm, 40-50mm, 45-55mm	$2,250.00	$2,800.00

OH263	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) fixation screws	Plates - width 13mm, Height 4mm - 9mm, 	$1,300.00	$2,600.00

width 17mm, height 4mm - 9mm

Stryker Australia Pty Ltd

SK226	Oasys-Occipito Cervico Thoracic System	Occipital Plate	100 and 130 degree	$2,250.00

Prostheses List by Category, Groups and Sponsor	Page 236 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SR038	Techtonix	Plate, titanium	22mm-58mm	$1,670.00

Synthes Australia Pty Ltd

SY365	Cervical Spine Locking Plate (CSLP) System	VA Plate	Length 23 - 109mm	$1,300.00	$1,600.00

SY380	Axon Occipital Fusion System	Occipital Plate Medial / Lateral, Pure titanium	50mm / 60mm width, 3 or 4 holes	$2,250.00

SY455	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	≤55	$1,300.00	$1,600.00

SY459	Vectra T Anterior Spinal System	Titanium	≤55	$1,300.00	$1,600.00

SY462	Posterior Cervical Plate System	Cervical Spine Reconstruction Plate	≤55	$1,070.00

SY464	Cervical Spine Locking Plate (CSLP) System	VA Plate	≤55	$1,300.00	$2,524.00

SY520	Vectra Anterior Spinal System	Cervical Plate	≤55	$1,300.00	$1,600.00

1 -  Cervical Plate > 55mm

Synthes Australia Pty Ltd

SY454	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	>55	$1,700.00	$2,000.00

1 - Cervical Plate > 55mm

B Braun Australia Pty Ltd

BB140	Aesculap Cervical System	Titanium, rigid	Large 67 - 103mm length	$1,700.00	$1,800.00

Lifehealthcare Pty Ltd

LH432	Signus Anterior Cervical Plate - L3-L4	Pre-contoured titanium plate, secured onto the spinal 	56mm - 100mm	$1,700.00

vertebrae by either fixed or variable angle colour coded

screws.

LSS Surgical Pty Limited

LS029	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System	58mm to 82mm	$1,700.00	$2,700.00

Synthes Australia Pty Ltd

SY183	Posterior Cervical Plate System	Plate	22-33 holes	$1,070.00

SY458	Vectra T Anterior Spinal System	Titanium	>55	$1,700.00	$2,000.00

SY463	Posterior Cervical Plate System	Cervical Spine Reconstruction Plate	>55	$1,470.00	$1,500.00

SY465	Cervical Spine Locking Plate (CSLP) System	VA Plate	>55	$1,700.00	$2,524.00

Prostheses List by Category, Groups and Sponsor	Page 237 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

1 - Cervical Plate >55mm

Austspine Pty Ltd

AJ040	Pyrenees Cervical Plate	3, 4 and 5 level cervical plate	57mm to 110mm	$1,700.00	$1,900.00

1- Cervical Plates >55mm

Synthes Australia Pty Ltd

SY519	Vectra Anterior Spinal System	Cervical Plate	>55	$1,700.00	$2,000.00

2 - Laminoplasty Plates

Medtronic Australasia Pty Ltd

MC299	Centerpiece	TiMesh LP	Open Door (OD) Plate	$750.00

MC308	Centerpiece	TiMesh LP	Open Door Graft (GP) Plate	$750.00

MC309	Centerpiece	TiMesh LP	French Door (FD) Plate	$750.00

Synthes Australia Pty Ltd

SY335	Arch Fixation System	Pre contoured mini titanium plates	4 to 16mm	$1,070.00

C - Complex

Arthrocare Australasia Pty Ltd

AF029	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC Copolymer	19-60mm	$1,870.00

C - Complex, 1 - Cervical Plate > 55mm

Arthrocare Australasia Pty Ltd

AF030	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC Copolymer	62.5-110mm	$2,270.00

Group 7 - Fixation: Rod

Group 7a - Rod, Standard

Austofix

AX059	Capless Li Pedicle screw system - rod	Titanium rod. Straight and pre- bent	Straight and pre- bent, multiple sizes, 40-	$443.00

300mm

Austspine Pty Ltd

AJ003	Preference - II pedicle screw system	Fixation Rod for Preference-II Pedicle Screw Fixation 	Length 30mm-600mm, Diameter 6mm	$443.00

System

AJ021	Smartloc Spinal Fixation System / Fixation Rod	Fixation Rod for Smartloc Spinal Fixation System	40mm - 80mm	$430.00

Prostheses List by Category, Groups and Sponsor	Page 238 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AJ026	Mesa Spinal System / Rod	Straight and contoured 5.5mm diameter rods	Straight: 30mm - 500mm and Contoured: 	$430.00	$1,200.00

35mm - 150mm

AJ036	Caspian OCT Spinal System - Rod	cervico-thoracic posterior rigid fixation system - Rod	Diameter: 3.5mm	$443.00

Length: 1.80mm - 240mm

B Braun Australia Pty Ltd

BB219	S4 Spinal System	S4 Straight Rod - Titanium	30 - 60mm	$443.00	$600.00

BB220	S4 Spinal System	S4 Straight Rod - Titanium	70mm - 180mm	$443.00	$600.00

BB221	S4 Spinal System	S4 Straight Rod - Titanium	200mm - 500mm	$443.00	$750.00

BB222	S4 Spinal System	S4 Pre-bent Rod - Titanium	35mm - 55mm	$443.00	$700.00

BB223	S4 Spinal System	S4 Pre-bent Rod - Titanium	60 - 240mm	$443.00	$725.00

Global Manufacturing Technology Pty Ltd

GM033	Optimal Spinal System	Rod	6 x 40 to 6 x 600mm	$443.00	$450.00

GM061	Maxima/Optima Anterior Cervical Plate System	Rod	30mm - 100mm	$443.00	$450.00

GM070	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 50 - 125mm	$443.00

GM071	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 300 - 600mm	$443.00	$560.00

Johnson & Johnson Medical Pty Ltd

DP315	Moss Miami (Stainless Steel)	Pre-Cut Rod	5mm x 30 - 90mm	$443.00

DP394	Moss Miami (Titanium)	Pre-Cut Rod	5.5mm x 30 - 90mm	$443.00

DP400	Moss Miami (Titanium)	Rod - Standard	5.5mm x 12 - 48cm	$443.00	$548.00

DP452	Kaneda SR (Smooth Rod)  Anterior  (TI)	Pre Cut Rod	1/4" x 45 - 150mm	$443.00

DP461	Isola System (Titanium)	Spinal Rod	1/4" & 3/16" x 18" & 24"	$443.00

DP476	Isola System (Stainless Steel)	Eye Rod	1/4" & 3/16" x 18" - 24"	$443.00	$698.00

DP477	Isola System (Stainless Steel)	Spinal Rod Standard	1/4" & 3/16" x 18" & 24"	$443.00

DP488	Isola Paediatric System (Stainless Steel)	Pre-Bent Rod	3/16 "	$443.00

DP494	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	$443.00

DP505	Anterior Isola System (SS)	Rod with Hex End	1/4" x 18"	$443.00

DP846	Moss Miami 4mm Anterior System (SS)	Rods	4.0mm x 30 - 48cm	$443.00	$548.00

DY182	Monarch Spinal System	Rods	6.35 & 5.5mm x 450mm	$443.00

DY310	Frontier Anterior Scoliosis System (Titanium)	Spinal Rod	4.75 x 200-450mm	$443.00	$828.00

Prostheses List by Category, Groups and Sponsor	Page 239 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY313	Monarch Spinal System	Rods - Pre Cut/Lordosed	6.35 & 5.5mm x 45 - 95mm	$443.00

DY318	Isola System (Stainless Steel)	Pre-Cut Rod	3/16" x 35 - 90mm	$443.00

DY343	Summit Cervical Rod System	Rod	3mm x 70-200mm	$443.00

DY435	Expedium Spine System	Rod	4.5 - 7.5mm Diameter x 12 - 60cm	$443.00

DY436	Expedium Spine System	Rod - Pre - lordosed or straight	5.5 - 6.35mm diameter x 35-95mm	$443.00

JJ596	Mountaineer OCT Spinal System	CT Dual Diameter Rod	3.5 - 4.75mm x 420 - 600 mm, 3.5 - 5.5mm 	$443.00

x 420 - 600mm, 3.5 - 6.35mm x 420 - 600mm

JJ597	Mountaineer OCT Spinal System	CT Rod	3.5mm x 60 - 200mm	$443.00

JJ644	Extra long rod - Expendium Anterior Spine System	Rod - Titanium	5.5mm x 450mm	$443.00

JJ648	Pre-cut rod - Expedium Anterior Spine System	Rod - Titanium	Diameter 5.5mm x lengths 45-150mm	$443.00

JJ671	Viper2 Spinal System	Straight, Kyphosed and Lordosed Rods	30-480mm	$430.00	$672.40

JJ693	Mountaineer OCT Spinal System - Pre-bent Rod	Pre-bent Titanium Rod	3.5 x 200 - 85mm or 3.5 x 120 - 85 mm	$430.00

JJ760	Moss Miami (Titanium)	Swedge Rod	One Size	$443.00	$1,050.00

JJ764	Moss Miami (Stainless Steel)	Swedge Rod	One Size	$443.00	$612.00

Lifehealthcare Pty Ltd

LH241	Spinal Fixation System	Rod - Titanium	40mm to 100mm in 10mm increments	$443.00

LH242	Spinal Fixation System	Rod - Titanium	110 to 450mm (110, 120, 140, 160, 180, 	$443.00

200, 450mm)

LH277	Blackstone - Posterior Cervical System	Occipital Rod	One size only	$443.00

LH279	Blackstone - Posterior Cervical System	Rods - Titanium	3.0mmx70, 120, 200mm	$443.00

LH360	Spinal Fixation System	Pre Lordosed Rods	40mm to 100mm in 10mm increments	$443.00

LSS Surgical Pty Limited

LS004	Solas Spinal System	Rod	40 - 400mm	$443.00

LS022	SOCORE Spinal System - Standard and Pre-Bent Rod	Standard and Pre-Bent Rod	Diameter 5.5mm 40mm to 500mm Length.	$443.00

Medtronic Australasia Pty Ltd

MC295	Vertex Spinal System	Pre - curved rod	150 - 300 mm length	$443.00	$710.00

Prostheses List by Category, Groups and Sponsor	Page 240 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC382	Colorado Spinal System	Colorado 2 Rod	5.0mm and 5.5mm, length range 50 - 600mm	$443.00

MC396	TSRH Spinal Implant System	3D - Rod	Diam 4.75 - 6.35mm, Length 25mm - 80cm	$443.00

MC404	CD Horizon	Rod	40mm to 600mm	$443.00

MC440	CD Horizon	Eclipse:  4.5mm Rod	40 - 600mm	$443.00

MC497	Tenor	Rod (5.5mm) - Titanium 	40-180mm	$443.00

MC544	Vertex Spinal System	Rod	80 - 240mm	$443.00	$520.00

MC587	CD Horizon Spinal System	Percutaneous Rod	5.5 x 25mm to 5.5 x 350mm	$443.00	$834.00

Nuvasive Australia and NZ  Pty Ltd

NV018	System: SpheRX. Component: Rods - Dual/Pre Bent 	Rods - Dual/Pre Bent Ball	17.5 - 500mm	$443.00

Ball

Orthotech Pty Ltd

OH033	Synergy/Polaris Spinal System	Rods	5cm - 14cm	$443.00	$650.00

OH034	Synergy/Polaris Spinal System	Rods	30 - 60cm	$443.00	$850.00

OH194	Array Spinal System	Titanium Alloy Modular Spinal System - Alloy rod	5.5mm x 510mm	$443.00	$900.00

OH195	Array/Ballista Spinal System	Titanium Alloy Modular Spinal System - Pre-Bent Rod	5.5mm x 30 - 100mm	$443.00	$850.00

OH311	Cosmic implant system	Cosmic Rod (40,50,60,70,80mm) - titanium	diameter - 6.25mm, length - 40mmdiameter 	$443.00	$780.00

- 6.25mm, length - 50mmdiameter -

6.25mm, length - 60mmdiameter - 6.25mm,

length - 70mmdiameter - 6.25mm, length -

80mm

OH312	Cosmic implant system	Cosmic Rod (100, 120, 200mm)- titanium	diameter - 6.25mm, length - 100mm	$443.00	$780.00

diameter - 6.25mm, length - 120mm

diameter - 6.25mm, length - 200mm

diameter - 6.25mm, length - 70mmdiameter

- 6.25mm, length - 80mm

OH352	Novel Rods	Rod	5.5, 6.0, 6.5	$430.00

Prostheses List by Category, Groups and Sponsor	Page 241 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Scient'x Australia

SX003	Isobar TTL	Rod	L: 45-450mm	$443.00

Stryker Australia Pty Ltd

SK224	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	3.5mm Rod (Length 80mm); 3.5mm Rod 	$443.00

(Length 120mm); 3.5mm Rod (Length

240mm)

Surgical House

SU228	Olerud Cervical System, Rods	Titanium alloy, Curved and Straigth	40mm - 120mm	$443.00

Synthes Australia Pty Ltd

SY143	Universal Spine System (USS)	Rods	Length 40 - 500mm	$443.00	$900.00

SY444	CerviFix Posterior Cervical System	Rod: Straight or pre bent	3.5mm diameter, 120-250mm length	$443.00	$900.00

Zimmer Pty Ltd

ZI481	Silhouette Spinal System Implants	Rod	5.5 dia x 10cm, 20cm and 47cm length	$443.00

ZI624	SEQUOIA PEDICLE SCREW SYSTEM	Sequoia Rod CP Ti	30mm - 510mm length	$443.00

ZI639	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 50 - 125mm	$443.00

ZI640	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 300 - 600mm	$443.00	$560.00

ZI700	Java screw system	Precontoured rod	Rod length 30/40/50/60/70/80/90/100	$443.00	$735.00

ZI703	Java screw system	Straight rods	Rod length 30/40/50/60/70/80/90/100	$443.00	$750.00

1 - Dual Diameter

Johnson & Johnson Medical Pty Ltd

DY334	Summit Cervical Rod System	Transition Rod	3.0/4.0/3.0mm	$550.00

DY335	Summit Cervical Rod System	Dual Diameter Rod	3x150mm/4.75 - 5.5mm x 270mm	$550.00

Synthes Australia Pty Ltd

SY446	CerviFix Posterior Cervical System	Rod: Tapered	3.5/5.0 - 3.5/6.0 dual diameter, 300 -500mm	$550.00	$900.00

2 - Shaped

Stryker Australia Pty Ltd

HW389	XIA Spine System	Rod - Titanium alloy, Stainless Steel	30 - 600mm	$600.00

Prostheses List by Category, Groups and Sponsor	Page 242 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY385	Speciality Rods	Scoliosis / J/S Rod, Precontoured, Titanium / Stainless Steel	5mm, 6mm diameter. Left / Right50mm - 	$600.00	$1,123.00

500mm length

2 - Shaped, C - Complex

Medtronic Australasia Pty Ltd

MC505	Orfil	L-Shaped Rods	5-510mm	$600.00

C - Complex

Johnson & Johnson Medical Pty Ltd

DP485	Isola System (Stainless Steel)	Dual Diameter Rod	3/16" to 1/4" x 18 - 24"	$443.00

DY105	Isola System (Titanium)	Eye Rod	1/4" x 18"	$443.00	$698.00

Group 7b - Rod, Telescoping

Orthotech Pty Ltd

OH058	Synergy Spinal System	Growth Rod	30 - 60cm	$1,350.00	$1,600.00

Group 7c - Rod, Threaded

Surgical House

SU074	Olerud spinal system: Threaded rod 	Hook/screw & rod spinal system component	35mm - 180mm x 7mm	$520.00

Group 7d - Rod, Dual Unit

Medtronic Australasia Pty Ltd

MC537	Danek Unit Rod System	Scoliosis Rods	Widths 3/16", 5.5mm or 6.35mm; lengths 25 	$1,460.00

x 45cm

MC707	Danek Unit Rod System	Scoliosis S-Rods	Widths 5.5 - 6.35mm; left and right	$1,460.00

Orthotech Pty Ltd

OH264	Hartshill: Ransford	Occipito-cervical - Titanium loop	100 degree 9mm - 20mm	$2,250.00

OH265	Hartshill: Ransford	Extra long cross linked - titanium loop	100 degree 45cm x 15mm	$2,250.00

OH266	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam 3-5cm length	$1,460.00

OH270	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar fusion system	6mm diam 15 - 19cm length	$1,460.00	$1,710.00

Prostheses List by Category, Groups and Sponsor	Page 243 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical House

SU089	Occiput rod 120mm	Hook/screw & rod spinal system component	3.5mm diam	$2,250.00

Synthes Australia Pty Ltd

SY384	Speciality Rods	Unit Rod, Titanium / Stainless Steel	5mm, 6mm diameter	$1,460.00

250mm - 500mm length

Group 8 - Fixation: Plate-Rod

Global Orthopaedic Technology

GO104	OctaFix	Occipital Cervical Plating System	Occipital Plate	$3,020.00

Synthes Australia Pty Ltd

SY445	CerviFix Posterior Cervical System	Occipital Plate Rod	one size	$3,020.00

Zimmer Pty Ltd

ZI683	OctaFix	Occipital Cervical Plating System	Occipital Plate	$3,020.00

Group 8 - Plate-Rod

Medtronic Australasia Pty Ltd

MC509	CD Occipital-Cervical  Loop	CD Occipital-Cervical  Loop	One size only	$3,020.00

MC543	Vertex Spinal System	Plate/rod	80 - 240mm	$3,020.00

Synthes Australia Pty Ltd

SY184	Posterior Cervical Plate System	Plate - rod	Special Manufacture - One size only	$3,020.00

Group 9 - Fixation: Washer/Staple

Group 9a - Washer

Global Manufacturing Technology Pty Ltd

GM067	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard	$235.00	$268.00

Johnson & Johnson Medical Pty Ltd

DP049	VSP System (Titanium)	Washers - Standard / Tapered	3 & 5mm	$235.00

DP416	Moss Miami (Titanium)	Washers - Slotted / Angled	One Size Only	$235.00

DP430	Moss Miami (Stainless Steel)	Washers - slotted, angled	Slotted/Angled or 3-5mm	$235.00

Prostheses List by Category, Groups and Sponsor	Page 244 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY127	VSP System (Stainless Steel)	Washers - Standard / Tapered	$235.00

DY176	Monarch Spinal System	Washer	One size only	$235.00

JJ649	Washer & Single Hole Staple - Expedium Anterior Spine	Washer and Single Hole Staple - Titanium	One size only	$235.00

System

JJ758	Anterior Isola System	Washer	One Size only	$235.00	$357.00

JJ768	Frontier Anterior Scoliosis System	Washer	One size only	$235.00	$686.00

JJ770	Expedium Spine System	Washer	Various	$235.00	$408.00

Lifehealthcare Pty Ltd

LH267	Blackstone - Fixed System Washer	Titanium	One Size Only	$235.00

LH268	Blackstone - Washer	Titanium	2/4/6mm	$235.00

LH269	Blackstone - Spacer	Titanium	3/5mm	$235.00

Nuvasive Australia and NZ  Pty Ltd

NV006	Triad Facet Screw	Washer	One size	$235.00

Synthes Australia Pty Ltd

SY150	Universal Spine System (USS)	Washers	Pointed, Flat, 4.2 - 7mm	$235.00	$408.00

Zimmer Pty Ltd

ZI636	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard	$235.00	$268.00

Group 9b - Staple

Johnson & Johnson Medical Pty Ltd

DP581	Kaneda Anterior Scoliosis System  S/S	Staple Single or Double Hole	Small - Large	$410.00

JJ643	Dual Hole Staple - Expendium Anterior Spine System	Dual Hole Staple - Titanium	Small to Xlarge - 4 sizes	$410.00

JJ759	Anterior Isola System	Single hole staple	16 - 22mm	$410.00

JJ769	Frontier Anterior Scoliosis System	Staple	Single and dual hole	$410.00	$686.00

JJ771	Expedium Spine System	Staple	Various	$410.00

Lifehealthcare Pty Ltd

LH271	Blackstone - Staple	Titanium	2/4/6mm	$410.00

Medtronic Australasia Pty Ltd

MC412	Cornerstone SRC Cage	Staple, Carbon composite	.	$410.00

MC431	Colorado Spinal System	Staple	One size only	$410.00

Prostheses List by Category, Groups and Sponsor	Page 245 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC437	CD-Horizon	Staples	One size only	$410.00

MC614	Vantage	Vantage Plates and Screws; Staple (rostral/caudal)	One Size Only	$410.00	$1,150.00

Orthotech Pty Ltd

OH046	Synergy Spinal System	Washers Single/Double	16mm - 21mm	$410.00	$1,100.00

Stryker Australia Pty Ltd

SK242	Xia Spinal System	Titanium or Stainless Steel	Single Hole Staple; Dual Hole Staples 	$410.00

(Caudal/Rostral) - Small, Medium, Large

C - Complex

Medtronic Australasia Pty Ltd

MC592	CD Horizon System	SMA Staple	Length 4-10mm	$1,240.00	$1,421.00

MC593	CD Horizon System	SMA Staple	Length 12-18mm	$1,595.00

Leads, Dorsal Column, Implantable

Percutaneous, Quadripolar

Medtronic Australasia Pty Ltd

MC827	Medtronic Pisces Quad Leads	Pisces Quad Lead (3487A), Pisces Quad Compact Lead 	Various	$3,400.00	When used in pain therapy - to be funded when

(3887), Pisces Quad Plus Lead (3888)	 the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Peripheral

Medtronic Australasia Pty Ltd

MC829	Medtronic On Point Lead	On point peripheral nerve lead kit (3987A)	25cm	$3,400.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Quadripolar, Surgical

Medtronic Australasia Pty Ltd

MC828	Medtronic Resume Surgical Leads	Surgical Leads - Resume II (3587A), Resume TL (3986A)	25cm	$3,400.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Prostheses List by Category, Groups and Sponsor	Page 246 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mesh, surgical

LMT Surgical Pty Ltd

LM084	Polyganics Flexiglide	A bioresorbable co polyester sheet.  The product is 	2cm x 3cm to 13cm x 20cm	$1,300.00	$1,400.00

designed to maintain its integrity to support soft tissue

Plugs

Medtronic Australasia Pty Ltd

MC824	Medtronic Neurostimulation Accessory Kits	Screening Cable (3550-03), Synergy IPG Connector Plug 	N/A	$168.00	When used in pain therapy - to be funded when

(3550-09), Tunnelling Tools (3555, 3550-06), EZ  Anchor	 the patient has undergone a multi-disciplinary

(3550-16), Boot and Anchor Kit (3550-24)	assessment and trial of stimulation.

MC825	Medtronic Percutaneous Quad extension	Percutaneous extension (in line connector for quadripolar 	One size only	$168.00	When used in pain therapy - to be funded when

leads only)	 the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

MC826	Medtronic Accessory Kit for Deep Brain Stimulation	Boots accessory kit for DBS (3550-25)	N/A	$168.00	When used in pain therapy - to be funded when

the patient has undergone a multi-disciplinary

assessment and trial of stimulation.

Prosthesis, internal, stent, vascular

N Stenning  & Co Pty  Ltd

NG051	MicroPLex Coil System, Compass Complex Coil	The compass (MicroPlex Coil System) is a 3 dimensional 	Compass 18 Complex - D 4 (mm) L 9 (cm) - 	$1,200.00

platinum coil.	D 20 (mm) L 60 (cm).

NG052	MicroPlex Coil System, Hydrosoft	HydroSoft is a hydrogel-based platimum coil with an inner 	Loop D. 2(mm) & L 1(cm) - D 6 (mm) & L 8	$1,200.00	$1,850.00

hydrogel core.	 (cm)

Prostheses List by Category, Groups and Sponsor	Page 247 of 869

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NG053	Leo Plus Self-Expanding Intracranial Stent	The Leo Plus is a Self-Expanding Intracranial Stent 	D 2.5 L 12 mm, 18 mm, 25 mm. D 3.5 L 12 	$6,558.00	$7,345.00

constructed from braided Nitinol wire. The Leo Plus is pre 	mm, 18 mm, 25 mm, 35 mm, D 4.5 L 15 mm,

loaded onto its on quidewire an introducer.	 20 mm, 25 mm, 30 mm, 40 mm, 50 mm. D

5.5 L 25 mm, 30 mm, 35 mm, 50 mm, 75 mm.

Resinous Compounds, Cranial

Johnson & Johnson Medical Pty Ltd

JJ303	Cranioplastic Kit (Type 1)	Cranioplastic kit containing 2 complete sets.  Consists of 2 	30grams	$240.00

bags of sterile powder, 2 vials sterile liquid, 2 sterile matrix

bags

Stimulators, Electrical, Brain

St. Jude Medical Australia Pty Ltd

SJ148	Libra Deep Brain Stimulation System  - Leads 6142 - 	DBS Leads 6142-6145 1.5mm electrode and space 	25-40cm	$4,150.00

6149	1.5mm; 6146-6149 1.5mm electrode and 0.5mm space

SJ149	Libra Deep Brain Stimulation System - Lead Extensions 	4 Channel DBS Lead Extension	50-60cm	$2,000.00

6345 and 6346

Vascular Reconstruction Device and Deliver - Stent, vascular, intracranial

Johnson & Johnson Medical Pty Ltd

JJ650	Cordis Enterprise Vascular Reconstruction Device and 	Closed Cell Design Nitinol Neurovascular	4.5 mm in diameter and 4 different lengths:  	$7,500.00

Delivery System	14mm, 22mm, 28mm and 37mm

Prostheses List by Category, Groups and Sponsor	Page 248 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 10: Intracorneal Rings

Emagin Pty Ltd

EG004	Intracorneal Rings	PMMA	Thickness 0.210mm - 150 degrees Arc 	$1,188.00

Length; Thickness 0.250mm - 150 degrees

Arc Length; Thickness 0.275mm - 150

degrees Arc Length; Thickness 0.300mm -

150 degrees Arc Length; Thickness 0.325mm

- 150 degrees Arc Length; Thickness

0.350mm - 150 degrees Arc Length;

Thickness 0.400mm - 150 degrees Arc

Length; Thickness 0.450mm - 150 degrees

Arc Length

Spectrum Surgical

SO038	Keraring	Intracorneal rings, PMMA	Arc length: 90 to 160 degrees, Thickness 0.1 	$635.00

to 0.35mm

SO039	Keraring	Intracorneal rings, PMMA	Arc length:210, thickness: 0.1 to 0.35mm	$945.00

Group 11: Iris Prostheses

Group 11a: Iris Prostheses: Single element

Emagin Pty Ltd

EG002	Iris Prosthetic System Single Element	PMMA Implant	1/4, 1/3mm	$425.00	$455.00

Group 11b: Iris Prostheses: Multiple element

Emagin Pty Ltd

EG003	Iris Prosthetic System Double Element	PMMA Implant	2/3, 2/4mm	$425.00	$455.00

Prostheses List by Category, Groups and Sponsor	Page 249 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 12: Glaucoma Drainage

Device Technologies Australia Pty Ltd

DE279	ExPress Minature Glaucoma Shunt	Miniature Glaucoma Shunt	50 & 200 microns	$715.00	$1,200.00

Group 12a: Glaucoma drainage: Long tube

Design for Vision Pty Ltd

DV020	Molteno Implant	Double plate - dual chamber	One size only	$425.00

DV242	Molteno Implant	Glaucoma Drainage Device - Single Plate/Single Plate-Dual	N/A	$425.00

Chamber/Double Plate

P

Design for Vision Pty Ltd

DV230	Molteno 3	Drainage implant for glaucoma, made of silicon	2 Sizes: *230 mm square *175mm square	$600.00	$715.00

V

Advanced Medical Optics Australia Pty Ltd

AO012	Baerveldt Glaucoma Implant BG 101-350, Baerveldt 	Non-valved artificial drainage device, composition silicone -	Surface area 250, 350, 425mm2	$600.00

Glaucoma Implant BG 103-425, Baerveldt Glaucoma 	 smooth, tumble-polished finish

Implant BG 103-250

Group 12c: Glaucoma drainage: Short tube - non-cannulated

Carl Zeiss Pty Ltd

CZ001	T.Flux: Non-Absorbable Galucoma Drain	-	One size only	$425.00	$945.00

Group 13: Eyelid Prostheses

Group 13a: Eyelid spacers

vp

Spectrum Surgical

SO017	FCI Ptose-up	Expanded PTFE	15cm long x 2 or 3mm wide x 0.35mm thick	$348.00

Prostheses List by Category, Groups and Sponsor	Page 250 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 13b: Eyelid weights

GLD

Design for Vision Pty Ltd

DV007	Gold Eyelid Load 	Large Range	1.8g, 2.0g, 2.2g, 2.4g, 2.6g, 2.8g  	$800.00	$900.00

DV245	Meddev Gold Eyelid Loads	Small Range - Standard and Thin Profile	0.6G to 1.6G in 0.4G steps	$425.00

Device Technologies Australia Pty Ltd

DE182	Lid Load Gold Eyelid Weights;	Gold	1.8, 2.0, 2.2, 2.4, 2.6, 2.8 grams	$800.00	$1,200.00

DE183	Lid Load Gold Eyelid Weights;	Gold	0.6, 0.8, 1.0, 1.2, 1.4, 1.6 grams	$425.00	$650.00

PLA

BR & CT Enterprises Pty Ltd

BC005	LIDCHAIN Platinum Eyelid Implant	Platinum	Weights - 0.8, 1.0, 1.2, 1.4, 1.6, 1.8 grams	$1,300.00

Group 14: Lacrimal Duct Drainage Prostheses

Group 14a: Lacrimal duct drainage prostheses: Intracanalicular

Design for Vision Pty Ltd

DV022	Eyetec DCR Tubes	Stainless steel, silicone tubing, Bodkin lacrimal intubation set	30cm	$56.00

DV241	Eyetec DCR Tubes	Crawford and Cannaliculus Intubation Sets	N/A	$135.00

Device Technologies Australia Pty Ltd

DE191	Canaliculus Intubation Sets 	Silicone, SS & Nylon	17.7 x .064 x 29cm, 15.5 x .051 x 33cm	$135.00	$175.00

DE278	BD Visitec Lacrimal Intubation Sets	Stainless steel probes with solid silicone rods or silicone 	1. Probes 0.90mm x 4.5cm, rod 40cm x 	$135.00

tubing - packaged sterile	0.80mm. 2. Probes 0.40mm x 11cm, tubing

35cm x 0.64mm. Probes 0.60mm x 11mm,

tubing 35cm x 0.30mm.

Prostheses List by Category, Groups and Sponsor	Page 251 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Spectrum Surgical

SO020	FCI Lacrimal Intubation Set	Silicone Tubing/Silicone Plug/Metal Probes/Polypropylene 	Bika: 0.64mm O.D. Tube/80 x 0.8mm 	$180.00	$207.00

Thread	probes, Bika 1.18: 1.18mm O.D. Tube/40 x

1.2mm probes, Bika for DCR: 0.94mm O.D.

Tube/50 x 0.8mm probes, Infant Bika

0.64mm O.D. Tube/55 x 0.7mm probes,

Infant Bika II: 0.64mm O.D. Tube/60 x

0.8mm probes, Besancon-Nancy Probe:

0.64mm O.D. Tube/80 x 0.8mm probes,

Crawford Probe: 0.64mm O.D. Tube/0.7mm

thick probes, FCI 2 Probe: 0.64mm O.D.

Tube/80 x 0.8mm probes, Ptosis Probe:

Tube/80 x 0.8mm probes, Mini Monoka: 0.64

x 40mm Tube/2mm Plug, Perforated Mini

Monoka: 0.64 x 40mm Tube/2mm,

Perforated Plug, Medium Collarette Monoka,

Wide Collarette Monoka: 0.64mm O.D.

Tube/80 x 0.8mm probes/4mm Plug, Wide

Collarette Monoka for Infants: 0.64mm O.D.

Tube/60 x 0.8mm probes/4mm Plug, Ritleng

Lacrimal Intubation Set: 0.64mm O.D. Tube/

Polypropylene thread, Self-Threading

Monoka Ritleng Type: 0.64mm O.D.

Tube/Polypropylene thread/4mm Plug,

Medium Collarette Self-Threading Monoka

Ritleng Type; Crawford Monoka: 0.64mm

O.D. tube/0.7mm thick probe/plug

Prostheses List by Category, Groups and Sponsor	Page 252 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SO021	FCI Lacrimal Intubation Set	PVP Coated Silicone Tubing/PVP Coated Silicone 	PVP Bika: 0.64mm O.D. Tube/80 x 0.8mm 	$180.00	$265.00

Plug/Metal Probes/Polypropylene Thread	probes, PVP Differential Bika: 0.64 &

1.18mm O.D. Tube/40 x 1.2mm probes, PVP

Bika for DCR: 0.94mm O.D. Tube/50 x

0.8mm probes, PVP Infant Bika 0.64mm

O.D. Tube/55 x 0.7mm probes, PVP Infant

Bika II: 0.64mm O.D. Tube/60 x 0.8mm

probes, PVP Besancon-Nancy Probe:

0.64mm O.D. Tube/80 x 0.8mm probes, PVP

Ritleng Lacrimal Intubation Set: 0.64mm

O.D. Tube/Polypropylene thread, PVP Mini

Monoka: 0.64 x 40mm Tube/2mm Plug, Wide

Collarette PVP Monoka: 0.64mm O.D.

Tube/80 x 0.8mm probes/4mm Plug, Self-

Threading PVP Monoka Ritleng Type:

0.64mm O.D., Tube/ Polypropylene

thread/4mm Plug, PVP Metaireau Tube Oval

Collar: 40mm Tube/4mm Plug, PVP

Metaireau Tube Round Collar: 40mm

Tube/4mm Plug, Lacosystem: Tube

/Probe/Polypropylene thread; Self retaining

bicanaliculus stent with dilator: silicone tubes

of various length, probes and dilator.

Group 14b: Lacrimal duct drainage prostheses: Extracanalicular

Device Technologies Australia Pty Ltd

DE177	Lester Jones Tear Duct Tubes	Glass	3 x 9 to 16mm, 3.5 x 9 to 18mm, 4.0 x 9 to 	$84.00

24mm, 5.0 x 9mm

Prostheses List by Category, Groups and Sponsor	Page 253 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 15: Orbital Prostheses

Group 15a: Orbital prostheses: Intrascleral

Device Technologies Australia Pty Ltd

DE188	Acrylic Implant	Acrylic	12, 14, 16, 18, 20mm.	$55.00

DE202	John Weiss Glass Mule Globes	Glass	No: 12, 14, 16, 18, 20mm	$55.00	$65.00

vp

Spectrum Surgical

SO006	FCI Orbital Implants	Orbital Implant, Bioceramic (Aluminium 	Bioceramic diameter, 12, 14, 16, 18, 20, 21, 	$1,200.00

Oxide)/Hydroxyapatite (Synthetic)	22mm; Synthetic Diameter, 10, 12, 14, 16,

18, 20, 22mm

Group 15c: Orbital prostheses: Extrascleral - Complex and permeable

vp, ha

Spectrum Surgical

SO007	FCI Orbital Implants	Mesh wrapped orbital implant: mesh wrapped bioceramic 	Bioceramic diameter: 16, 18, 20, 22mm; 	$1,600.00

(aluminium oxide), mesh wrapped hydroxyapatite 	Synthetic Hydroxyapatite diameter: 16, 18,

(synthetic), mesh wrap (polyglycolic acid)	20, 22mm

Group 15d: Orbital prostheses: Extrascleral - Multi component

ha, ti

Spectrum Surgical

SO019	FCI Orbital Implants	Peg & Sleeve	Standard Large	$750.00	$863.00

Group 15e: Orbital prostheses: Fascial - Solid and permeableplate implants

Device Technologies Australia Pty Ltd

DE277	Frontalis Suspension Set	Stainless steel needles with solid silicone rods and silicone 	needles 0.90mm x 6.5cm, rod 40cm - 	$315.00

tubing - packaged sterile	0.80mm, sleeve 10 x 2mm

Prostheses List by Category, Groups and Sponsor	Page 254 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 16:  Retinal Detachment Prostheses

Group 16a: Retinal Detachment - Buckles, bands, sponges and tyres

Austmed Pty Limited

AP002	Mira: Scleral Implants	Silicone Sponge- Retinal Implant Used in Scleral Buckling 	Sponge- Mira 502 Cylinder 2mm, Mira 5025 	$90.00	$120.00

(Silicone Elastomer Sponge)	Cylinder 2.5mm, Mira 503 Cylinder 3mm,

Mira 504 Cylinder 4mm, Mira 505 Cylinder

5mm, Mira 505G Grooved cylinder 5mm,

Mira 505T Packer tunnel cylinder 5mm, Mira

510 Half cylinder 5mm, Mira 515 Brucker

two-thirds cylinder 5mm, Mira 501 Masciulli

oval 2.5mm by 4mm, Mira 506 Vaiser oval

3mm by 5mm, Mira 506G Vaiser grooved

oval 3mm by 5mm, Mira 507 oval 5.5mm by

7.5mm, Mira 507G Grooved oval 5.5mm by

7.5mm, Mira 507T Packer tunnel oval 5.5mm

by 7.5mm, Mira 511 Half oval 7.5mm, Mira

517 Brucker two-thirds oval 7.5mm, Mira

509 Fuller flat oval 3.5mm by 7.5mm, Mira

509G Fuller grooved flat oval 3.5mm by

7.5mm, Mira 518 Frederick grooved flat oval

2.5mm by 12mm, Mira 508 Frederick flat

oval 4mm by 12mm, Mira 508G Frederick

grooved flat oval 4mm by 12mm, Mira 513

Snyder 3+ meridional 7mm by 4mm, Mira

514 Snyder 4+ meridional 8mm by 5mm,

Mira 516G Tapered groove 6.4mm, Mira

519G Tapered groove 7.5mm by 3.2mm.

Prostheses List by Category, Groups and Sponsor	Page 255 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AP003	Mira: Scleral Implants	Solid Silicone-Tire/Meridional/Wedge/Pad. Retinal Implant 	Tires-Mira 286 Wendel Symmetrical Oval 	$45.00

used in Scleral Buckling (Dimethylmethylvinyl Siloxane 	Tire 6mm, Mira Symmetrical Oval Tire 7mm,

Copolymer)	Mira 287WG Murray wide (3.5mm) grooved

symmetrical tire, 10mm wide, Mira 288 ross

symmetrical grooved tire, low profile 10mm

wide by 2.5mm, Mira 289 Symmetrical oval

tire 10mm, Mira 277Symmetrical tire 7mm,

Mira 279 Symmetrical tire 9mm, Mira 78G

Grooved symmetrical tire 10mm, Mira 281

Symmetrical tire 12.5mm, Mira 275 Munsen

Asymmetrical tire 6mm, Mira 276

Asymmetrical tire 7mm, Mira 278 Brockhurst

asymmetrical tire 8.5mm, Mira 280LG Large

grooved asymmetrical tire 10mm, Mira 77G

Grooved hemisphere 26mm. Meridional- Mira

106 Meridional Implant 6mm by 10.5mm,

Mira 112 Curved Meridional implant 12mm

by 12mm, Mira 103 Meridional implant 4mm

by 15mm. Wedge- Mira 135 Pruett maxi

wedge 14mm, Mira Pruett midi wedge 12mm,

Mira 190 Spencer sub-implant 5mm by

10mm. Pad- Mira 80 Pad 4mm by 8mm,

Mira 22 Button 5mm by 5mm

AP004	Mira: Scleral Implants	Solid Silicone-Sleeve. Retinal Implant used in Scleral 	Sleeves-Mira 70 Sleeve 1mm I.D., Mira 71 	$45.00

Buckling (Dimethylmethylvinyl Siloxane Copolymer)	Sleeve 1mm I.D., Mira 72 McNutt Sleeve

1.57mm I.D., Mira 270 Sleeve 0.76mm I.D.

Prostheses List by Category, Groups and Sponsor	Page 256 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AP006	Mira: Scleral Implants	Solid Silicone-Band/Strip/Boat/Clip. Retinal Implant used in	Bands-Mira 40 Circling Band 2mm, Mira 240	$40.00

Scleral Buckling (Dimethylmethylvinyl Siloxane Copolymer)	 Circling Band 2.5mm. Strips-Mira 41 Strip

3.5mm, Mira 42 Strip 4mm, Mira 20 Strip

4mm, Mira 219 Strip 4.5mm, Mira 31 Strip

4.5mm, Mira 32 Strip 5mm, Mira 225 Oval

Strip 5mm, Mira 220 Strip 6mm. Boats-Mira

60 Boat 2mm, Mira 260 Boat 2.5mm. Clips-

Mira 50 Double Tantalum Clip 2mm, Mira

250 Double Tantalum Clip 2.5mm, Mira 51

Singla Tantalum Clip 3.5mm, Mira 52

Joondeph Single Tantalum Clip 4mm

Bausch & Lomb (Australia) Pty Ltd

BL012	Storz E5395 3 Cylindrical Sponge Implant	Retinal Fixation Device	2.3mm x 2.5mm x 80mm, to 7.5mm x 7.5mm 	$90.00

x 100mm

BL013	Storz E5381 Silicone Strip	Silicone Tire	Outside diameter 30.2m to 33.6mm, inner 	$40.00

diameter 26mm, overall length 10.4mm to

125mm

BL014	Storz E5381 Silicone Strip	Circling Band	Overall length 10.4mm to 125mm	$40.00

Device Technologies Australia Pty Ltd

DE178	Silicon Retinal Implant	Sponge	2.5 x 4.0 x 80mm, 3.0 x 5.0 x 100mm, 3.25 x	$90.00	$100.00

7.0 x 80mm, 5.5 x 7.5 x 80mm, 1.5 x 80mm,

2.0 x 80mm, 2.5 x 80mm, 3.0 x 80mm, 4.0 x

80mm, 5.0 x 80mm, 7.0 x 80mm

DE179	Silicon Retinal Implant	Tire 	7.0, 9.0, 12.5, 6.0, 8.5, 10.0mm	$45.00	$50.00

DE181	Silicon Retinal Implant	Band	0.75 x 2.0 x 125mm, 0.60 x 2.5 x 125mm, 	$45.00	$50.00

0.75 x 2.5 x 125mm

Prostheses List by Category, Groups and Sponsor	Page 257 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Spectrum Surgical

SO009	FCI Scleral Buckling Devices	Band/strip: solid silicone	Band - 2.0 x 0.75mm Type 40, 3.5 x 0.75mm	$45.00

Type 41, 4.0 x 1.25mm Type 42, 2.5 x

0.6mm Type 240, Morin 3.5 x 0.6mm

Strip - 5.7mm Type 20, 7.2mm Type 31,

9.2mm Type 32, 6mm Type 219, 7.5mm

Type 220, 8mm Type 225

SO011	FCI Scleral Buckling Devices	Tire: Solid Silicone	Symmetrical: (2.5 mm Groove, 7 to 9mm 	$45.00

wide), Biconvex: (2.5mm Groove, 7 to 10mm

wide), Asymetrical: (2.5mm Groove, 7 to

10mm wide)

SO012	FCI Scleral Buckling Devices	Sponge/Cord: Silicone	Cord: 1.0 to 5.0mm O.D. x 150mm length; 	$90.00	$138.00

Half Cord: 3.0mm to width x1.5mm to 2.5mm

height x150mm; Circular Sponge: 3 to 5mm;

Oval Sponge: 2 to 5.5mm x 4 to 12mm; Half

Sponge: 2 to 3.1mm x 4 to 7.5mm; Grooved

Sponge: 3 to 5mm x 5 to  12mm; Gain

Sponge: 6 x 2.5mm; Sahal Sponge: 4 to 5mm

x 5 to 7mm

SO013	FCI Scleral Buckling Devices	Strip: Solid Silicone	Strip: 1.4 x 4.4 x 100mm, Morin Strip: 7mm 	$40.00	$173.00

wide x 100mm long, Caputo Zip Strip: 7 to

9mm wide x 120mm long, Korobelnik Oval

Strip: 2 x 5mm

Group 16b: Retinal Detachment - Clips and tacks

Device Technologies Australia Pty Ltd

DE201	Labtician Tantalum Clips	Tantalum	2, 2.5mm	$40.00	$50.00

Group 16c: Retinal Detachment - Sleeves

Bausch & Lomb (Australia) Pty Ltd

BL011	Storz E5381 Silicone Strip	Silicone Sleeve	1.65mm to 2.2mm diameter, length 6.1mm to 	$15.00

30mm

Prostheses List by Category, Groups and Sponsor	Page 258 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE180	Silicon Retinal Implant	Sleeve	1mm, .76mm, 1.5mm	$15.00	$25.00

Spectrum Surgical

SO010	FCI Scleral Buckling Devices	Fixation Sleeve: Solid silicone	O.D: 1.65 to 2.41mm, Length 30mm	$15.00	$35.00

Group 16d: Retinal Detachment - Tamponading gasses and fluids

Alcon Laboratories (Aust.) Pty Ltd

AL013	Perfluoron Kits	Perfluoro-n-octane for use as a retinal surgery additive	5mL	$240.00

AL014	Perfluoron Kits	Perfluoro-n-octane for use as a retinal surgery additive	7mL	$260.00

Bausch & Lomb (Australia) Pty Ltd

BL004	Adato Octa	Adato Octa Perfluorooctacarbon	5mL	$240.00

BL017	Perfluo-octane (Oktaline) Okta-Line	Perfluorocarbon Liquid  for use as a retinal surgery additive	5mL	$240.00

Design for Vision Pty Ltd

DV244	D.O.R.C. Eftiar	Eftiar Decaline and Octane 5ml	5ml	$240.00	$320.00

Device Technologies Australia Pty Ltd

DE284	Single Dose Opthalmic Gases	Single dose tamponading gas for retinal surgery	30ml	$150.00

IQ Medical

IQ008	Octane & Decalin	Perfluorocarbon retinal tamponade medium, intraoperative	5ml & 7ml, Sterile	$240.00

Group 16e: Retinal Detachment - Heavy liquids

Bausch & Lomb (Australia) Pty Ltd

BL003	Adeto Deca (various)	Adato Deca Perfluorodecacarbon	5mL	$280.00

BL018	DK Line 100% purified perfluorodecalin	Perfluorodecalin	7ml	$280.00

Prostheses List by Category, Groups and Sponsor	Page 259 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE204	Arcaline (Perfluorodecaline)	Liquid perfluorocarbon aid for retinal surgery, operative 	3ml, 5ml, 7ml	$280.00

device for retinal surgery, in particular retinal detachment

(RD), RD with giant tear etc.

DE205	Arcotane (Perfloro-N-Octane)	Liquid perfluoro-N-Octane aid for retinal surgery, pre-	5ml, 7ml	$280.00

operative device for retinal surgery, in particular retinal

detachment (RD), RD with giant tear, RD with proliferative

vitreal retinopathy (PVR) etc.

IQ Medical

IQ005	Densiron	Heavy Tamponade Liquid Medium, Postoperative	10 ml, Sterile	$335.00	$450.00

Spectrum Surgical

SO023	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, FCI - OCTA: 	5ml	$280.00

Purified perfluoro-N-octane

SO024	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, FCI - OCTA: 	7ml	$280.00	$385.00

Purified perfluoro-N-Octane

Group 16f: Retinal Detachment - Silicone oils

Bausch & Lomb (Australia) Pty Ltd

BL001	Adato Sil-ol Silicone Oil (various viscosities)	Adato Sil-Ol Silicone Oil 1000	10mL	$195.00

BL002	Adato Sil-ol Silicone Oil (various viscosities)	Adato Sil-Ol Silicone Oil 5000	10mL	$195.00

BL016	Oxane LMWC Fractioned Silicone Oil	Purified fractioned silicone oil	10mL	$195.00

BL024	Oxane HD	Silicone oil - RMN3 mixture	10ml	$195.00

Design for Vision Pty Ltd

DV243	D.O.R.C. Silicon Oil	D.O.R.C. Silicon Oil 1000/5000CS	10ml	$195.00	$243.00

Device Technologies Australia Pty Ltd

DE228	LSO Silicone Oil	Silicone oil for tamponade use in vitreoretinal surgery	10ml, vial or syringe	$195.00	$220.00

IQ Medical

IQ006	Siluron 1000 & Siluron 5000	Silicone Oils	10 ml, Sterile	$160.00

Prostheses List by Category, Groups and Sponsor	Page 260 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Spectrum Surgical

SO022	FCI Purified Silicone Oil (Solvent Free)	Viscosity: 1000 cst/5000 cst: solvent free purified silicone 	10ml	$195.00	$240.00

oil

Group 8:  Viscoelastic Fluids

Group 8a: Intra Ocular Viscoelastic fluids

Alcon Laboratories (Aust.) Pty Ltd

AL015	Cellugel viscoelastic fluid	Hypromellose 2%	.	$80.00

AL029	DisCoVisc Ophthalmic Viscosurgical Device	Sodium hyaluronate 17 mg/mL and chondroitin sulfate 	0.5 mL and 1.0 mL	$80.00	$110.00

40mg/mL

Bausch & Lomb (Australia) Pty Ltd

BL008	Ocucoat Intraocular Fluid	20mg/mL hydroxypropylmethyl cellulose for intraocular use	1mL sterile	$80.00

IQ Medical

IQ002	Ocuvis and Ocumax 2% Hydroxypropylmethylcellulose	20mg/mL hydroxypropylmethyl cellulose for intraocular 	2mL sterile	$80.00

use. Pre-loaded in a sterile syringe with one cannula for

injection, in a sterile Tyvek pouch

H

Advanced Medical Optics Australia Pty Ltd

AO007	Viscoelastic Fluid: AMO Vitrax (sodium hyaluronate) 	Surgically Implanted Intraocular Viscoelastic 	0.65mL	$80.00

30mg/mL, 0.65mL

AO008	Healon, Intraocular Viscoelastic Fluid	Sodium Hyaluronate 10mg/ml	Healon 0.4ml, 0.55ml & 0.85ml	$80.00

Alcon Laboratories (Aust.) Pty Ltd

AL006	PROVISC VISCOELASTIC SOLUTION	PROVISC contains sodium hyaluronate	0.55mL & 0.85mL packs	$80.00

AL007	VISCOAT Viscoelastic Fluid	Chondroitin sulfate and sodium hyaluronate	0.75mL	$80.00

Bausch & Lomb (Australia) Pty Ltd

BL015	Amvisc Plus injection	15mg/mL Sodium Hyaluronate for intraocular use	0.5mL and 0.8mL	$80.00

Carl Zeiss Pty Ltd

CZ012	Ophthalin Viscoelastic	Ophthalin; Viscoelastic Solution - sodium hyaluronate 	Volume 1.0ml	$80.00

10mg/ml.  Preloaded in sterile syringe with a 27G cannula

for injection

Prostheses List by Category, Groups and Sponsor	Page 261 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

h, df

Carl Zeiss Pty Ltd

CZ019	TwinVisc Viscoelastic	Twinvisc Viscoelastic Solution - Ophthalin contains sodium 	Total volume 1.4 ml	$110.00	$120.00

Hyaluronate 1%/ Endogel contains sodum Hyaluronate

2.2% Preloaded in sterile syringe with a 25G cannula for

injection

h, hv

Carl Zeiss Pty Ltd

CZ013	Ophthalin Plus Viscoelastic	Ophthalin Plus; Viscoelastic Solution - sodium hyaluronate 	Volume 1.0ml	$80.00

15mg/ml.  Preloaded in sterile syringe with a 27G cannula

for injection

HU, H

Advanced Medical Optics Australia Pty Ltd

AO009	Healon 5, Intraocular Viscoelastic Fluid	HEALON5- Sodium hyaluronate 23mg/ml .	0.6ml	$85.00

AO010	Healon GV Intraocular Viscoelastic Fluid	Sodium Hyaluronate 14mg/mL	0.5mm and 0.85ml	$85.00

Group 8b: Intra Ocular non Viscous

Design for Vision Pty Ltd

DV231	Vision Blue	Trypan blue dye for ophthalmic applications	0.5ml syringe	$37.00	$48.00

IQ Medical

IQ007	Blueron	Eye Dye	0.5 ml, Sterile	$33.00

H, df

Alcon Laboratories (Aust.) Pty Ltd

AL005	DUOVISC VISCOELASTIC SYSTEM	PROVISC contains sodium hyaluronate, VISCOAT 	Small & large packs	$110.00	$120.00

contains chondroitin sulfate and sodium hyaluronate

Group 9 : Capsular Tension Rings

Group 9a: Capsular tension rings: Simple

Advanced Medical Optics Australia Pty Ltd

AO021	Stabileyes Capsular Tension Ring	Polymethylmethacrylate (PMMA) Implant	12mm ring, and 13mm ring	$159.00

Prostheses List by Category, Groups and Sponsor	Page 262 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Alcon Laboratories (Aust.) Pty Ltd

AL001	Capsular Tension Rings	-	10.0 - 12.0 compressed,  12.3 - 14.5 	$159.00

uncompressed

Carl Zeiss Pty Ltd

CZ002	Tensiobag: Capsular Tension Ring	PMMA	Diameter 10 - 14mm	$159.00

Design for Vision Pty Ltd

DV009	Morcher Capsular Tension Ring	PMMA Implant	14, 14A, 14C	$159.00

Device Technologies Australia Pty Ltd

DE269	MicroPlex Capsular Tension Ring	PMMA, highly flexible	11mm - 13mm	$168.00

Emagin Pty Ltd

EG001	Capsular Tension Rings Clear	PMMA Implant	10/08, 12/10, 13/11mm	$159.00

EG005	Capsular Tension Rings Coloured	PMMA Implant	10/08, 12/10, 13/11mm	$159.00

Insight Surgical Pty Ltd

IS007	OII PMMA Capsular Tension Ring	Capsular Tension Ring - PMMA	12mm and 13mm	$159.00

P, L

Design for Vision Pty Ltd

DV029	Eyejet CRT	Capsular tension ring made of PMMA per-load on 	14 (10mm), 14C (11mm), 14A (12mm)	$243.00

disposable injector

P.L.

Insight Surgical Pty Ltd

IS001	Preloaded Capsulan Tension Ring	Capsular tension ring preloaded (acrylic)	13/11mm	$255.00

Group 9b: Capsular tension rings: Complex

Design for Vision Pty Ltd

DV010	Morcher Coloboma Diaphram 	PMMA Implant	96G, 96L	$334.00

Intraocular Lens

Group 1 - Anterior Chamber: aphakic, rigid lenses

Advanced Medical Optics Australia Pty Ltd

AO019	Verisyse AC IOL	Aphakic Model	5mm Optic Diameter x 8.5 overall length	$156.00	$680.00

Prostheses List by Category, Groups and Sponsor	Page 263 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Alcon Laboratories (Aust.) Pty Ltd

AL003	MTAU1-MTAU-7	PMMA	+ 4 to 28 D	$156.00

Bausch & Lomb (Australia) Pty Ltd

BL005	Storz (Coburn) Intraocular Lens  121UV; L122UV 	PMMA Anterior Chamber Intraocular lens 1 piece	13.75mm length. 6.0mm optic size, diopter 	$156.00

PMMAA Anterior Chamber Lens	range 3-30d. L122UV: 6.0mm optic,

13.75mm length, power range; 5.0 to 30.0

Diopters

Emagin Pty Ltd

EG009	Artisan Anterior Chamber Intraocular Lens	Aphakia Model	5.00mm Optic Diameter x 8.5 in overall length	$156.00	$298.00

Composition: PMMA

Surface modification suffix

Advanced Medical Optics Australia Pty Ltd

AO001	Intraocular Lens: Model  AC 51L	Duralens  PMMA, Anterior Chamber IOL	6.00 mm Optic Diameter x 13.0mm in overall 	$198.00

length

Group 2a - Anterior Chamber: phakic, rigid lenses.

Advanced Medical Optics Australia Pty Ltd

AO016	Verisyse AC IOL	Phakic Intraocular Lens: Model Myopia.  Composition: 	5mm Optic Diameter x 8.5 overall length; 	$680.00	$728.00

PMMA	6mm Optic Diameter x 8.5 overall length

AO017	Verisyse AC IOL	Phakic Intraocular Lens: Model Hyperopia.  Composition: 	5mm Optic Diameter x 8.5 overall length	$680.00	$728.00

PMMA

Emagin Pty Ltd

EG006	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model Myopia	5.00mm Optic Diameter x 7.5 in overall 	$680.00

Composition: PMMA	length; 5.00mm Optic Diameter x 8.5 in

overall length; 6.00mm Optic Diameter x 8.5

in overall length

EG007	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model Hyperopia	5.00mm Optic Diameter x 8.5 in overall length	$680.00

Composition: PMMA

T

Advanced Medical Optics Australia Pty Ltd

AO018	Verisyse AC IOL	Phakic Intraocular Lens: Model Toric	5mm Optic Diameter x 7.5 overall length	$1,056.00

Prostheses List by Category, Groups and Sponsor	Page 264 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Toric Suffix

Emagin Pty Ltd

EG008	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model ToricComposition: PMMA	5.00mm Optic Diameter x 7.5 in overall length	$1,056.00	$1,538.00

Group 2b - Anterior Chamber: phakic foldable lenses

Advanced Medical Optics Australia Pty Ltd

AO025	VeriFlex Foldable Phakic IOL	Anterior chamber foldable phakic silicone intraocular lens	-2  to -14.5d in 0.5d increments.  Overall 	$723.00	$880.00

diameter 8.5mm. Optic 6.0mm

Emagin Pty Ltd

EG010	Artiflex Anterior Chamber Intraocular Lens	Optic: Hydrophobic Polysiloxane. Haptic: PMMA	6mm optic diameter x 8.5 in overall length	$723.00	$880.00

Group 3 - Posterior Chamber: aphakic, rigid lenses

Alcon Laboratories (Aust.) Pty Ltd

AL002	Intraocular Lens: MODIFIED C PMMA PC IOL 	Other:PMMA	Range of Powers:-10 to +34 D	$156.00

MODEL MZ60BD, MODIFIED PMMA PC IOL

Model MZ20BD, CANTILEVER PMMA PC IOL

MODEL CVC1U, Modified PMMA PC IOL Model

MZ30BD, PMMA PC, IOL Model MC60BD, PMMA

PC, IOL Model MC50BD, PMMA PC, IOL Model

CZ70BD, MODIFIED C PMMA PC IOL MODEL

251.60 (MC50BM), MODIFIED C PMMA PC IOL

MODEL 251.61 (MC51BM), MODIFIED C PMMA

PC IOL MODEL 551.61 (MC60CM), Alcon JF30BD

Cantilever PMMA PC IOL, Alcon Cantilever Model

LX90BD PMMA PC IOL, Alcon Cantilever Model

LX10BD PMMA PC IOL, Alcon Cantilever Model

LC80BD PMMA PC IOL, PMAA PC

INTRAOCULAR LENS

Prostheses List by Category, Groups and Sponsor	Page 265 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Bausch & Lomb (Australia) Pty Ltd

BL006	Posterior chamber IOLS model P359 UV, P399 UV, 68	PMMA Posterior Chamber lens 1 piece;	12.25mm to 13.75mm length. 5.5mm to 7mm 	$156.00

UV, 95 BUV, or lolab PC One Piece, model 6741B, 	optic size, diopter range -4.5 - 45d to 10 -

8591B, 8191B; Model EZE-Fit 65	34d; EZE-Fit 65: 6.5mm optic, 13.35mm

length, Power range: 10.0 to 30.0 Diopter

Surface modification suffix

Advanced Medical Optics Australia Pty Ltd

AO022	Posterior Chamber IOL; Pharmacia Heparin Surface 	CeeOn Posterior chamber, heparin coated , PMMA 	812C:+8.0 to +40.0 diopter increments, 	$198.00

Modified AC IOL Model 352C	lenses, One piece, biconvex. 812C, 722C, 757C, 808C 	722C: +8.0 to +30.0 diopter increments,

CeeOn	757C: -10.0 to +7.0 diopter increments

Group 4a - Posterior Chamber: aphakic, foldable, no edge modification, haptic plate lenses

Bausch & Lomb (Australia) Pty Ltd

BL010	Chiroflex Model C11UB	Intraocular Lens Foldable Plate Haptic  Silicone Posterior 	10.50m length, 6.0mm optic size, diopter 	$281.00

Chamber Foldable Plate Haptic Lens 1 piece	range 10-30d

ConceptVision Australia Pty Ltd

CS001	Staar foldable silicone intraocular lens: Model 	Plate haptics 6.0mm; Polymide haptics 5.5 or 6.3mm optic;	10.8mm - 13.5mm length;	$281.00

AA4203VF; Model AA4204VF; AA4204VL;

Aberration Technology

IQ Medical

IQ001	UltraChoice 1.0 Rollable Thinlens Model PHC001	Acrylic, single piece, rollable, refractive multifocal with 	Dioptric powers from 10.0 to 30.0 D	$323.00	$675.00

monofocal function meniscus optic, accommodating

intraocular lens with 50 micron edge

at

Carl Zeiss Pty Ltd

CZ017	ZEISS - Acri.Smart 36A	ZEISS - Acri.Smart 36A (MICS Aspheric Foldable IOL)	Overall length 11.00mm Optic size 6.0mm	$323.00	$364.00

Prostheses List by Category, Groups and Sponsor	Page 266 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

at,t

Carl Zeiss Pty Ltd

CZ018	Acri.Comfort 646TLC	ZEISS - Acri.Confort 646TLC (MICS Bitoric Aspheric 	Overall length 11.00mm Optic size 6.0mm	$699.00	$1,300.00

Foldable IOL)

Toric Suffix

ConceptVision Australia Pty Ltd

CS002	Staar Toric foldable silicone intraocular lens: Model 	Plate haptics 6.0mm optic	10.8mm - 11.2mm length	$579.00

AA4203TF; Model AA4203TL

Group 4b - Posterior Chamber: aphakic, foldable, no edge modification lenses

Advanced Medical Optics Australia Pty Ltd

AO005	Intraocular Lens: Allergan Model SI-30NB Silicone PC 	PhacoFlex II SI-30NB Silicone or PhacoFlex II SI-40NB 	6.0 mm Optic Diameter x 13.0mm in overall 	$281.00

IOL; or AMO model SI-40NB Silicone PC IOL	Silicone; Foldable IOL	length.

Bausch & Lomb (Australia) Pty Ltd

BL007	Hydroview Intraocular lens Model H60M	Foldable Hydrogel Lens  Hydrogel Posterior Chamber 	12.50mm length, 6.0mm optic size, diopter 	$281.00

Foldable lens 1 piece	range 15-30d

BL009	Soflex UV Absorbing  Silicone Posterior Chamber  IOL 	Foldable Intraocular Lens  Silicone Posterior Chamber 	13.00mm length, 6.0mm optic size, diopter 	$281.00

Model LI61U	Foldable Lens 3 piece	range 5-30d

ConceptVision Australia Pty Ltd

CS003	Staar foldable silicone intraocular lens: Model AQ 5010V	Polyimide haptics 6.3mm optic - low diopters	14.0mm length	$229.00	$370.00

Device Technologies Australia Pty Ltd

DE263	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Micrincision Posterior Chamber Lens	6.D-40.0D	$322.00	$350.00

MC611M1

Group 4d - Posterior Chamber: aphakic, foldable, anterior and posterior edge modification lenses

Advanced Medical Optics Australia Pty Ltd

AO002	Sensar  AR40 Monofocal Acrylic IOL,  Sensar 	Soft Acrylic, Foldable, UV Absorbing, Posterior	6 mm Optic Diameter x 13mm in overall 	$322.00

OptiEdge AR40e Foldable Acrylic IOL	length.

AO006	Clariflex, Model CLRFLXB Posterior Chamber 	Foldable Silicone IOL with OptiEdge design	One size only	$322.00

Intraocular Lens

Prostheses List by Category, Groups and Sponsor	Page 267 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Alcon Laboratories (Aust.) Pty Ltd

AL004	 Acrysof Multipiece Models MA60BM, MA30BA, 	Foldable Acrylic Multi-piece Lens	 -5 D to +30 D	$312.00

MA50BM, MA60MA, MA30AC, MA60AC

AL011	Intraocular Lens: Alcon Acrysof Model SA30AL, Alcon 	Foldable Acrylic Single-piece Lens, asymmetric 	Range of Powers: +6 to +40 D	$322.00

Acrysof Model SA60AT, SA30AT Intraocular Lens; 	optic/consistent edge

Alcon Acrysof PC IOL Model SA65AT

AL024	AcrySert model SN60WS	Foldable Acrylic Single-piece Lens with Blue light 	+6 to +36 D	$420.00

protection and aspheric correction, in cartridge.

AL025	AcrySof Multipiece Models MN60MA, MN60AC	Foldable Acrylic multi-piece Lens with Blue light Protection	- 5 D to + 30 D	$364.00

Bausch & Lomb (Australia) Pty Ltd

BL019	Akreos Fit acrylic foldable posterior chamber intraocular 	Composition: Hydrophilic acrylic polymer.  Packaged in 	10.0 to 15.0 Diopter in 1.0 Diopter 	$322.00

lens	lens folding device in a sterile vial.  Modified C-Loop design	increments; 15.0 to 25.0 Diopter in 0.5

Diopter increments; 25.0 to 30.0 Diopter in

1.0 Diopter increments

BL020	Akreos Adapt acrylic foldable posterior chamber 	Composition: Hydrophilic acrylic polymer.  Packaged in 	10.0 to 15.0 Diopter in 1.0 Diopter 	$322.00

intraocular lens	lens folding device in a sterile vial.  Four haptic design	increments15.0 to 25.0 Diopter in 0.5

Diopter increments25.0 to 30.0 Diopter in

1.0 Diopter increments

BL021	SoflexSE, Intraocular lenses, Posterior Chamber	Composition: silicone, Lenses - foldable, posterior chamber	Range of powers: 5.0 to 30.0 Diopter - Optic 	$322.00

intraocular lenses	diameter 6.0mm; 13.0mm length

Carl Zeiss Pty Ltd

CZ003	 Intraocular Lens: Model Bigbag	 Hydrophilic acrylic, foldable, PC, single piece, Tri-haptic, 	6.5mm optic diameter x 10.35 overall diameter	$322.00	$468.00

square edge design, UV blocker

CZ008	Hydromax	Hydrophobic Acrylic, Foldable, PC, 3-Piece, Square Edge	6.0mm Optic x 12.5mm Overall Diameter	$312.00	$322.00

Design, UV Blocker

ConceptVision Australia Pty Ltd

CS007	Staar foldable silicone IOLs: Models AQ2010V, 	Plate haptics 6.0mm; Polymide haptics 5.5 or 6.3mm optic;	10.8mm 0 13.5mm length	$281.00

AQ2017V and AO2003V

Prostheses List by Category, Groups and Sponsor	Page 268 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE264	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Posterior Chamber LensMCX11ASP	6.0D-40.0D	$312.00	$395.00

Kevin Grundy (IBD) Pty Ltd

KG001	Rayner C-Flex	Hydrophilic HEMA-MMA copolymer, foldable with 	5.75mm dia optic, 12.00mm dia overall	$322.00

injector

KG002	Superflex	Hydrophilic HEMA-MMA copolymer, foldable with 	6.25mm dia optic, 12.5mm dia overall	$322.00

injector

Aberration Technology

Advanced Medical Optics Australia Pty Ltd

AO014	TECNIS™ Intraocular Lens	Foldable Intraocular Lenses - Ultraviolet light absorbing 	5-10 dioptre in 1.0 dioptre increments; 10.5 - 	$364.00

posterior chamber intraocular lenses, Silicone/Acrylic	30 dioptre in 0.5 increments

at

Advanced Medical Optics Australia Pty Ltd

AO024	Tecnis One Piece (ZCB00)	One piece intraocular lens with edge modification and 360 	+6 diopters to +30 diopters in 0.5d increments	$364.00

degree square edge

Bausch & Lomb (Australia) Pty Ltd

BL022	SofPort Advanced Optic (AO)	Posterior chamber, foldable silicone IOL with anterior 	0 D to 30.0 D	$364.00

optic-haptic square edge, posteriof optic-haptic square

edge, 360-degree optic square edge and asperic optic for

aberration control

BL023	Akreos Advanced Optic	Posterior chamber, foldable acrylic IOL, with anterior 	0 D to 30.0 D	$364.00

optic-haptic square edge, posterior optic-haptic square

edge, 360 degree optic square edge and aspheric optic for

aberration control

Carl Zeiss Pty Ltd

CZ010	XL Stabi ZO, Invent ZO	Hydrophilic Acrylic, Foldable, PC, Single Piece, Square 	6.0mm Optic x 10.5mm Overall Diameter	$354.00	$364.00

Edge Design, UV Blocker, Tri-haptic, Quad Haptic,

Aspheric Optic

CZ016	ZEISS - Acri.Smart 46LC	Aberration corrected, optimized aspheric foldable square-	Overall length 11.0mm Optic size 6.0mm	$364.00

edged single-piece intraocular lens for cpasular bag fixation

MICS

Prostheses List by Category, Groups and Sponsor	Page 269 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Design for Vision Pty Ltd

DV240	Rayner "C-Flex" and Superflex" Aspheric IOL	Aspheric Intra Ocular Lenses with Amon-Apple enhanced 	C-Flex -970C + 22.5D to +34D Superflex-	$364.00

360 Degree square edge, Anti-vaulting Haptics	920H - 10D to +22D

Insight Surgical Pty Ltd

IS008	Quatrix Aspheric Micro-Incision 2.2mm Intraocular Lens	Posterior chamber IOL, acrylic, single piece with 360 	+10 to +30	$364.00	$445.00

degree square edge includign the optic haptic junction, 8

point stability, evolutive aspheric, packaged with disposable

syringe and cartridge.

IQ Medical

IQ004	Softec	Acrylic, single piece, foldable intraocular lens with anterior 	Available in dioptric powers from -5.0 to 	$364.00

and posterior optic-haptic square edge, 360 degree optic 	+36.0, 1D steps: -5.0 to +10.0 and +31.0 to

square edge design, precision power calculation and 	+36.0; 0.5D steps: +10.5 to +18.0 and +25.0

aberration technology	 to +29.5; 0.25D steps: +18.0 to +25.0

Kevin Grundy (IBD) Pty Ltd

KG012	Rayner "C-Flex" and Superflex" Aspheric IOL	Aspheric Intra Ocular Lenses with Amon-Apple enhanced 	C-Flex -970C + 22.5D to +34D Superflex-	$364.00

360 Degree square edge, Anti-vaulting Haptics	920H - 10D to +22D

AT, BLF

Bausch & Lomb (Australia) Pty Ltd

BL025	SofPort Advanced Optic (AO) Violet Shield	Posterior chamber, aphakic, foldable silicone, anterior & 	6mm optic 13mm overall lengthModified  C 	$406.00

posterior edge modification intraocular lens with aberration 	5 degree angulation 0-30D, 0.5D steps

technology, a violet light

AT, PP

Bausch & Lomb (Australia) Pty Ltd

BL026	Akreos AO Micro Incision Lens	Micro Incision, posterior chamber, foldable acrylic, 	6mm optic overall diameter 11.0mm(10D-	$385.00	$510.00

aphakic, anterior & posterior edge modification, preloaded,	15D), 10.7mm (15.50-22D), 10.5mm

with aberration contro, intraocular lens	(22.50-30D)

Carl Zeiss Pty Ltd

CZ011	XL Stabi ZO Sky, Invent ZO Sky	Hydrophilic Acrylic, Foldable, PC, Single Piece, Square 	6.0mm Optic X 10.5mm Overall Diameter	$374.00	$390.00

Edge Design, UV Blocker, Trihaptic, Quad Haptic,

Aspheric Optic, Pre-Loaded

Prostheses List by Category, Groups and Sponsor	Page 270 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ConceptVision Australia Pty Ltd

CS008	Preloaded Aspheric Intraocular Lens	Silicone intraocular lens	6.0mm	$345.00

Blue Light Filter

Alcon Laboratories (Aust.) Pty Ltd

AL016	Alcon Acrysof Natural Model SN60AT	Foldable Acrylic Single-piece Lens, asymmetric 	+6 to +40D	$364.00

optic/consistent edge, with blue light protection

Blue Light Filter, Aberration Tech

Alcon Laboratories (Aust.) Pty Ltd

AL021	Alcon AcrySof SN60WF	Foldable Acrylic Single-piece Lens with Blue Light 	+ 6.0 D to +30.0 D	$385.00

Protection and Aspheric Correction

Blue Light Filter, pre-packaged

Alcon Laboratories (Aust.) Pty Ltd

AL019	AcrySof Model SN60AS	Foldable Acrylic Single-piece lens, in cartridge, with blue 	+6 to +40 D	$384.00

light protection

pl

Carl Zeiss Pty Ltd

CZ006	Intraocular Lens, Model Stabibag RTU, Model XL Stabi	Hydrophilic acrylic, foldable, CP, single piece, square edge 	5.5mm to 6.0mm optic x 10.5mm to 	$343.00

RTU/Sky	design, UV blocker, Tri-haptic, Ready to use single use 	10.75mm overall diameter

pre-loaded

CZ009	Ethos	Hydrophobic Acrylic, Foldable, PC, 3-Piece, Square 	6.0mm Optic x 12.5mm Overall Diameter	$332.00	$350.00

Edged Design, UV Blocker, Pre-Loaded

pl, at

Design for Vision Pty Ltd

DV232	HOYA-PS AF-1 (UV) PC-60AD	Preloaded in cartridge, aspheric, foldable, single-piece, 	+6.0D to +30.0D (0.5D steps)	$384.00

hydrophobic acrylic

Insight Surgical Pty Ltd

IS009	Quatrix Aspheric Preloaded Intraoular Lens	Preloaded posterior chamber IOL, acrylic, single piece with	+10 to +30	$384.00	$535.00

360 degree square edge including the optic haptic junction,

8 point stability, evolutive aspheric, packaged in a

preloaded syringe.

Prostheses List by Category, Groups and Sponsor	Page 271 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL, BLF, AT

Ausponsor Pty Ltd

AQ003	Hoya-PS AF-1 (UY) PY-60AD	Preloaded in cartridge, Aspheric, Blue blocker, Foldable, 	+6.0D to +30.0D (0.5D steps)	$420.00

Single-Piece, Hydrophobic Acrylic

PP

ConceptVision Australia Pty Ltd

CS005	Staar foldable silicone intraocular lens: KS-3 Model 	Silicone, foldable, polyamide haptics	6mm Optic, 12.5mm overall length	$302.00

AS310NV

T

Device Technologies Australia Pty Ltd

DE253	MicroSil Toric IOL	Silicone Lens (MS6116TU) Standard Range -3.00 to 	Lens Dia =6.00mm Haptics Dia =11.6mm	$688.00

31.00 Dioptres in 0.5 steps with cylinder from 2.00 to

12.00 Dioptres

DE254	MicroSil Toric IOL	Silicone Lens (MS6116TU) Semi-Custom Range -3.00 to 	Lens Diameter = 6.00mm Haptics Dia = 	$688.00	$950.00

31.00 Dioptres with 1.0 steps, Cylinder from 3.0 - 14.0 	11.6mm

Dioptres

DE255	MicroSil Toric IOL	Silicone Lens (MS6116TU) Custom made range: -28 to 	Lens Dia = 6.00mm Haptics Dia = 11.6mm	$688.00	$1,540.00

+31 Sphere and up to 30D cylinder

T,BLF

Alcon Laboratories (Aust.) Pty Ltd

AL023	Alcon AcrySof Toric PC IOL Models	Posterior chamber, UV absorbing, foldable, acrylic, toric, 	SN60T3 (1.50 D cylinder), SN60T4 (2.25 D 	$740.00

single piece lens with blue light protection	cylinder), SN60T5 (3.00 D cylinder),

SN60T6 (3.75 D cylinder), SN60T7 (4.50 D

cylinder), SN60T8 (5.25 D cylinder),

SN60T9 (6.00 D cylinder)

Toric Suffix

Kevin Grundy (IBD) Pty Ltd

KG003	Rayner Standard Toric C-Flex	Hydrophilic HEMA-MMA copolymer, foldable with 	5.00mm dia optic, 12.00mm dia overall, cyls 	$698.00

injector	2.0D to 6.0D in 2D increments

Prostheses List by Category, Groups and Sponsor	Page 272 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

KG004	Rayner Premium Toric C-Flex	HEMA-MMA copolymer, foldable with injector	5.75mm dia optic, 12.00mm dia overall, cyls 	$698.00	$1,800.00

1.5D to 11.0D in 0.5D increments

vblf,at,pl

Alcon Laboratories (Aust.) Pty Ltd

AL031	AcrySert C Model SN6CWS	Posterior chamber, UV absorbing, foldable, acrylic, single 	+6.0 to +30.0 D	$426.00

piece lens with blue light protection and aspheric correction,

in cartridge

vblf,at,t

Alcon Laboratories (Aust.) Pty Ltd

AL032	AcrySof Toric Aspheric IOL	Posterior chamber, UV absorbing, foldable, acrylic, toric, 	+6.0 to +30.0 D	$780.00

single piece lens with blue light protection and aspheric

correction

Group 5a - Posterior Chamber: aphakic, foldable, multifocal/bifocal lenses

Advanced Medical Optics Australia Pty Ltd

AO020	ReZoom Acrylic Multifocal Intraocular Lens	Acrylic, foldable, posterior chamber, intraocular lens	6.0mm Optic Diameter x 13.0mm overall length	$780.00	$950.00

at

Advanced Medical Optics Australia Pty Ltd

AO026	Tecnis Multi-Focal Acrylic (ZMA00)	Posterior chamber lens with UV light-absorbing, foldable 	+5 diopters to +34 dipters in 0.5d increments	$822.00	$1,500.00

acrylic, 3-piece with a diffractive posterior optic and a

modified anterior surface technology with edge modification

and 360 degree square edge.

Carl Zeiss Pty Ltd

CZ015	ZEISS - Acri.Lisa 366D	Foldable aspheric single-piece intraocular lens with an 	Overall length 11.0mm Optic size 6.0mm	$822.00

aspheric front and an aspheric bifocal back surface,

asymmetric light distribution 65 percent distacne and 35

percent near, with 3.75D addtiion in the near foucs.

Prostheses List by Category, Groups and Sponsor	Page 273 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Design for Vision Pty Ltd

DV237	Rayner "M-Flex" Mulitfocal Foldable IOL	Acrylic, Foldable, Single piece multi-zoned refractive 	6.5mm Optic-Overall diameter 12.5mm: +3D 	$822.00	$975.00

aspheric multifocal with Amon-Apple 360 Degree Square 	or + 4D Addition: +14D to +25D in 1.0D

edge, Anti Vaulting Haptics	increments: +8.5D to +23.5D in 0.5D

increments

Kevin Grundy (IBD) Pty Ltd

KG009	Rayner "M-Flex" Mulitfocal Foldable IOL	Acrylic, Foldable, Single piece multi-zoned refractive 	6.5mm Optic-Overall diameter 12.5mm: +3D 	$822.00	$975.00

aspheric multifocal with Amon-Apple 360 Degree Square 	or + 4D Addition: +14D to +25D in 1.0D

edge, Anti Vaulting Haptics	increments: +8.5D to +23.5D in 0.5D

increments

at,t

Carl Zeiss Pty Ltd

CZ014	ZEISS - Acri.Lisa 466TD	Foldable aspheric single-piece intraocular lens with an 	Overall length 11.0mm Optic size 6.0mm	$1,198.00	$1,600.00

aspheric toric front and an aspheric bifocal back surface,

asymmetric light distribution 65 percent distance and 35

percent near, with 3.75D addition in the near focus.

Design for Vision Pty Ltd

DV238	Rayner M-Flex Toric (Standard)	Acrylic, Foldable, Single Piece, Multi-zoned Refractive 	5.75mm / 12.0mm: 6.25mm / 12.5mm 	$822.00	$1,100.00

Aspheric Toric Mulitfocal with Amon-Apple enhanced 360	+3.00D or +4.00D Addition FAR: +14.0D to

degree Square edge, Anti Vaulting Haptics	 +32.00D in 0.5 STEPS: +2.00D Cylinder.

NEAR: +14.0D to 27.0D in 0.5 STEPS:

+2.00D Cylinder

DV239	Rayner "M-Flex" Toric (Non Standard)	Acrylic, Foldable, Single Piece, Muli-Zoned Refractive, 	5.75/12.0mm: 6.25/12.5mm +3.00D to 	$1,030.00	$2,700.00

Toric Multifocal with Amon-Apple enhanced 360 Degree 	+4.00D Addition FAR: +14.0D to +32.0D in

square edge, Anti-vaulting Haptics, Patient Specific.	0.5D Increments: NEAR: +14.0D to +27.0D

in 0.50D Increments Cylinder: 1.0D to 1.5D

and 2.5D to 6.00D in 0.5 increments

Prostheses List by Category, Groups and Sponsor	Page 274 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Kevin Grundy (IBD) Pty Ltd

KG010	Rayner M-Flex Toric (Standard)	Acrylic, Foldable, Single Piece, Multi-zoned Refractive 	5.75mm / 12.0mm: 6.25mm / 12.5mm 	$822.00	$1,100.00

Aspheric Toric Mulitfocal with Amon-Apple enhanced 360	+3.00D or +4.00D Addition FAR: +14.0D to

degree Square edge, Anti Vaulting Haptics	 +32.00D in 0.5 STEPS: +2.00D Cylinder.

NEAR: +14.0D to 27.0D in 0.5 STEPS:

+2.00D Cylinder

KG011	Rayner "M-Flex" Toric (Non Standard)	Acrylic, Foldable, Single Piece, Muli-Zoned Refractive, 	5.75/12.0mm: 6.25/12.5mm +3.00D to 	$1,030.00	$2,700.00

Toric Multifocal with Amon-Apple enhanced 360 Degree 	+4.00D Addition FAR: +14.0D to +32.0D in

square edge, Anti-vaulting Haptics, Patient Specific.	0.5D Increments: NEAR: +14.0D to +27.0D

in 0.50D Increments Cylinder: 1.0D to 1.5D

and 2.5D to 6.00D in 0.5 increments

Group 5b - Posterior Chamber: aphakic, foldable, anterior and posterior edge modification, multifocal/bifocal lenses.

Advanced Medical Optics Australia Pty Ltd

AO023	Tecnis Multifocal Intraocular Lens	Tecnis Multifocal foldable Posterior Chamber Diffractive 	+5.0 Diopter to 34.0 Diopter in 0.5 diopter 	$780.00	$950.00

Intraocular Lens Model ZM900.  Posterior Chamber lens 	increments

with UV light-absorbing, foldable, silicone, 3 piece with a

diffractive posterior optic and a Modified Prolate Anterior

Surface Technology

Alcon Laboratories (Aust.) Pty Ltd

AL030	ReSTOR apodized diffractive aspheric IOL, SN6AD1	UV and blue light filtering foldable single-piece apodized 	+10.0 to +30.0 dioptres	$862.00	$1,550.00

diffractive aspheric optic posterior chamber lens with +3

dioptres of add power for near vision

BLF

Alcon Laboratories (Aust.) Pty Ltd

AL022	Alcon AcrySof ReSTOR PC Diffractive IOL Natural 	Posterior Chamber, UV absorbing, foldable, acrylic, single 	+10.0 to +30.0 D	$820.00	$1,250.00

Model SN60D3	piece lens with apodised diffractive optic and blue light

protection.

AL027	ReSTOR multipiece apodised diffractive blue light 	Foldable acrylic mutli-piece lens with apodised diffractive 	+6 to +30 Diopters	$820.00	$1,220.00

filtering PC IOL Model MN60D3	optic and blue light protection

Prostheses List by Category, Groups and Sponsor	Page 275 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BLF, AT

Alcon Laboratories (Aust.) Pty Ltd

AL028	ReSTOR apodized diffractive aspheric intraocular lens - 	UV and Blue Light Filtering Foldable Single-Piece 	+10.0 to +30.0D in 0.5 dioptre increments 	$862.00	$1,500.00

SN6AD3	Apodized Diffractive Aspheric Optic Posterior Chamber 	and +30.0D to +34.0D in 1.0 dioptre

Lens	increments

fa

Bausch & Lomb (Australia) Pty Ltd

BL027	Crystalens HD	Accommodating lens with > 3 Dioptres of accommodation 	10.0 to 33.0 Dioptres in .05 Dioptre steps	$780.00

with dual mechanism of action: (1) forward axial movement

of lens and (2) accommodative arching of optic.  Posterior

chamber, polyspheric optics, 3-piece, plate haptic, foldable

UV light filtering, biconvex

Group 5c - Posterior Chamber: aphakic, foldable, multifocal, accommodative lenses.

Device Technologies Australia Pty Ltd

DE260	ICU Akkomodative® IOL	ICU Akkomodative IOL- Acrylic lens Range 15-35 	Lens Dia =5.5mm Haptics Dia =9.8mm	$490.00	$950.00

Dioptres in 0.5 steps

P

IQ Medical

IQ003	Tetraflex	Acrylic single piece, foldable accommodating intraocular 	Available in dioptric powers from +5.0 to 	$490.00	$850.00

lens with sqare edge design, custom control precision and 	+36.0, 1D steps: +31.0 to +36.0; 0.5D steps:

closed loop haptic design	 +5.0 to +18.0 and +25.0 to +30.0; 0.2D

steps; +18.0 to +25.0

Group 6a - Posterior Chamber: Pseudo-phakic, piggy back, monofocal

at

Design for Vision Pty Ltd

DV236	Rayner "Sulcoflex" Pseudophakic I.O.L.	"Sulcoflex" Aspheric Pseudophakic I.O.L	-5D to +5D	$365.00

Kevin Grundy (IBD) Pty Ltd

KG008	Rayner "Sulcoflex" Pseudophakic I.O.L.	Sulcoflex Aspheric Pseudophakic I.O.L	-5D to +5D	$365.00

Prostheses List by Category, Groups and Sponsor	Page 276 of 869

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

at,t

Design for Vision Pty Ltd

DV233	Rayner Sulcoflex Aspheric Toric Pseudophakic 	Acrylic, Aspheric, Toric Pseudophakic Secondary IOL :  	6.5mm / 13.5mm - 5.0D+5.0D Spheres : 	$698.00

Secondary I.O.L - Standard	Sulcus-fixated with Undulating Haptics and Posterior 	Increments up to  + 5.00D Cylinder

Haptic Angulaiton

DV235	Rayner Sulcoflex Aspheric Toric Pseudophakic 	6.5mm/13.5mm - 5.0D to +5.0D sphere: increments up to 	6.5mm/13.5mm - 5.0D sphere: increments up 	$822.00	$1,800.00

Secondary IOL (Premium)	11.0D cylinder	to 11.0D cylinder

Kevin Grundy (IBD) Pty Ltd

KG005	Rayner Sulcoflex Aspheric Toric Pseudophakic 	Acrylic, Aspheric, Toric Pseudophakic Secondary IOL :  	6.5mm / 13.5mm - 5.0D+5.0D Spheres : 	$698.00

Secondary I.O.L - Standard	Sulcus-fixated with Undulating Haptics and Posterior 	Increments up to  + 5.00D Cylinder

Haptic Angulaiton

KG007	Rayner Sulcoflex Aspheric Toric Pseudophakic 	6.5mm/13.5mm - 5.0D to +5.0D sphere: increments up to 	6.5mm/13.5mm - 5.0D sphere: increments up 	$822.00	$1,800.00

Secondary IOL (Premium)	11.0D cylinder	to 11.0D cylinder

Group 6b - Posterior Chamber: Pseudo-phakic, piggy back, multifocal

at

Design for Vision Pty Ltd

DV234	Rayner "Sulcoflex" Aspheric Multi-focal Pseudophakic 	Acrylic, Aspheric Multi-focal Pseudophakic Secondary 	6.5mm / 13.5mm - 5.00D+5.00D sphere with	$822.00	$975.00

Secondary IOL	IOL: Sulcus-Fixated with Undulating Haptics and Posterior 	  + 3.00 Addition

Haptic Angulation

Kevin Grundy (IBD) Pty Ltd

KG006	Rayner "Sulcoflex" Aspheric Multi-focal Pseudophakic 	Acrylic, Aspheric Multi-focal Pseudophakic Secondary 	6.5mm / 13.5mm - 5.00D+5.00D sphere with	$822.00	$975.00

Secondary IOL	IOL: Sulcus-Fixated with Undulating Haptics and Posterior 	  + 3.00 Addition

Haptic Angulation

Prostheses List by Category, Groups and Sponsor	Page 277 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.1.1 Ankle joint and foot joint, Accesssory

6.1.1.4 Ankle and foot joint, Accesssory, Spacer

Endotec Australia Pty Ltd

EA037	Buechel-Pappas Ultracoat Total Ankle Replacement 	Polyethylene mobile bearing	3mm - 11mm	$925.00

System (Primary and Revision)

6.1.2 Sinus Tarsi Implant

Device Technologies Australia Pty Ltd

DE293	Prostop	Arthroereisis Subtalar implant	7x12mm 8x12mm 9x14mm 10x14mm 	$1,300.00

11x16mm 12x16mm

LMT Surgical Pty Ltd

LM009	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 2mm	$1,300.00

Orthopaedic Solutions Pty Ltd

OE005	Futura Conical Subtalar Implant	Titanium	7 - 12	$1,390.00

Surgical House

SU009	Kalix 	Flat foot implant titanium/UHMWP	9 - 17mm diameter	$1,165.00

6.1.3 Ankle joint, Talar component

6.1.3.1 Cemented - Mobile bearing

Energy Orthopaedics Pty Ltd

EO016	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE	Tibial - Sml/Med/Large	$1,915.00

EO017	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE	Talar - Sml/Med/Large	$2,650.00

Lifehealthcare Pty Ltd

LH433	LINK STAR Ankle Prosthesis	Talar Component, cemented	xx-Small - x- large	$1,967.00

Prostheses List by Category, Groups and Sponsor	Page 278 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.1.3.2 Uncemented - Mobile bearing

Endotec Australia Pty Ltd

EA001	Buechel-Pappas Ultracoat Total Ankle Replacement 	Thick or Revision Talar - Ceramic coated titanium	1-6	$4,900.00

System (Primary and Revision)

EA002	Buechel-Pappas Ultracoat Total Ankle Replacement 	Primary Talar - Ceramic coated titanium	1 to 6	$3,850.00

System (Primary and Revision)

ESKA Australia

EK075	Talar Component Ankle Joint Cementless Ha	CoCRMo/Ha	Small, Medium, Large	$2,750.00	Temporary listing pending review of product

group

Finsbury Orthopaedics Australia Pty Ltd

FI031	Box Ankle	Talar Component CoChr. Cementless	Small, Medium and Large	$2,750.00	Temporary Listing pending review of product

group

Lifehealthcare Pty Ltd

LH436	LINK STAR Ankle Prosthesis	Talar Component, cmentless	xx- small - x-large	$2,425.00

Surgical House

SU114	Hintegra Total Ankle Prosthesis	Talar implant	Right and left, sizes 1 - 5	$2,300.00

SU188	Hintegra Total Ankle Prosthesis	Talar Implant - Flat talar resection	Left - Size 1-5, Right - Size 1-5	$3,193.00

porous coating

Johnson & Johnson Medical Pty Ltd

DP871	Agility Ankle System	Agility Ankle Talar	Size 1 - 6	$2,679.00

DY409	Agility LP Ankle System	Wide Ankle Talus	1 to 6	$3,675.00

DY419	Mobile Ankle System	Talus	Size 1-6	$2,300.00	$3,600.00

6.1.3.3 Liner  - Mobile bearing

Energy Orthopaedics Pty Ltd

EO018	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE	Poly Insert UHMWPE - Sml 10-16/ Med 11-	$725.00

17/ Large 12-18

ESKA Australia

EK043	PE Articular Surface Component Ankle Joint	-	4mm, 6mm, 8mm	$595.00

Johnson & Johnson Medical Pty Ltd

DY408	Agility Ankle System	Mobile Bearing	1-6 from 3-11mm	$925.00

Prostheses List by Category, Groups and Sponsor	Page 279 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.1.4 Ankle joint, Tibial component

uncemented

Endotec Australia Pty Ltd

EA036	Buechel-Pappas Ultracoat Total Ankle Replacement 	Tibial componenet ceramic coated titanium	1-6	$3,850.00

System (Primary and Revision)

6.1.4.1 Ankle joint replacement, tibial component, cemented  - Mobile bearing

ESKA Australia

EK051	Tibial Component Ankle Joint Cementless HA	Tibial Component Ankle Joint CoCrMo/HA	Small, Medium, X-Medium, Large, X-Large	$1,980.00	Temporary Listing pending review of product

group

Finsbury Orthopaedics Australia Pty Ltd

FI030	Box Ankle	Tibial Component CoChr. Cementless	Small, Medium and Large	$1,980.00	Temporary Listing pending review of product

group

Lifehealthcare Pty Ltd

LH434	LINK STAR Ankle Prosthesis	Tibial Component, cemented	xx-small - x-large	$1,587.00

LH437	LINK STAR Ankle Prosthesis	Tibial Component, cementless	xx-small - x-large	$1,915.00

Surgical House

SU113	Hintegra Total Ankle Prosthesis	Tibial implant	Right and left, sizes 1 - 6	$2,000.00

SU191	Hintegra Total Ankle Prosthesis	Tibial Implant	Right & Left, Sizes 1 - 6, Thickness 8mm or 	$2,700.00

12mm

porous coating

Johnson & Johnson Medical Pty Ltd

DY082	Agility LP Ankle System	Agility Ankle Tibial Shell Right and Left	Size 1-6	$1,724.00

DY418	Mobile Ankle System	Tibial Tray	Size 1-6	$2,000.00	$2,500.00

6.1.4.2 Ankle joint replacement, tibial component, uncemented - Mobile bearing

Finsbury Orthopaedics Australia Pty Ltd

FI032	Box Ankle	Meniscal Insert, UHMWPE	Small 5-8mm, Medium 5-8mm and Large 5-	$595.00	Temporary Listing pending review of product

8mm	group

Johnson & Johnson Medical Pty Ltd

DY083	Agility LP Ankle System	Agility Ankle Tibial Insert 	Size 1-6	$660.00

Prostheses List by Category, Groups and Sponsor	Page 280 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lifehealthcare Pty Ltd

LH435	LINK STAR Ankle Prosthesis	UHMWEPE Sliding Core	6- 14mm	$555.00

Surgical House

SU115	Hintegra Total Ankle Prosthesis	Sliding insert	Sizes 1 - 5, thickness 5 - 9mm	$622.00

6.1.5 Ankle joint, Hemiarthroplasty

LMT Surgical Pty Ltd

LM094	CCI Evolution	Total ankle replacement	standard, standard plus, large, large plus	$6,250.00	$6,500.00	Temporary Listing

Tornier Pty Ltd

TO001	Cheville Salto Ankle Prostheses	Components include tibial, mobile bearing, talar, malleolar 	Tibial/Talar Sizes 1small to 3 = x-large. 	$6,250.00

for use as a total ankle prostheses, Ti CoCr	Mobile Bearing Thickness 4,5,6,7 mm.

Malleoloar Sizes 1 & 2

6.1.6 Replacement of other joints of the foot

Device Technologies Australia Pty Ltd

DE289	AnaToemic	AnaToemic Phalangial Prosthesis	17mm, 20mm, 21.5mm, 23mm	$1,500.00

Surgiplas Medical

SP056	Bio-Action Great Toe Implant	Bio-Action Phalangeal Implant, Titanium Alloy and 	Small neutral/ small modified/ large modified.	$2,400.00

UHMWPE.

SP057	Bio-Action Great Toe System	Bio-Action Metatarsal Implant Cobalt Chrome	Small neutral / small left/ small right/ large 	$2,400.00

neutral

6.1.6.1.1 Great toe, metatarsal component

LMT Surgical Pty Ltd

LM016	Kinetik Great Toe Implant	Metatarsal Component  made of chrome cobalt 01-2002, 	1, 2, 3 Right & Left	$2,000.00

01-2004, 01-2006, 01-2003, 01-2005, 01-2007

Smith & Nephew Surgical Pty Ltd

SM047	Toefit - Plus	Chromium Cobalt	Proximal Insert 6, 7, 8	$800.00

Prostheses List by Category, Groups and Sponsor	Page 281 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP062	Reflexion 1st MPJ Implant System	Reflexion metatarsal heads, 3 part 1st MPJ reconstruction 	Standard, long, extra-long	$560.00

system, 2 part composition - titanium/cobalt chrome, 1 part

composition - titanium/UHMWPE,

Resurfacing

Lifehealthcare Pty Ltd

LH347	Hemi CAP Articular Resurfacing Great Toe System	Articular Component	12mm (1-2mm x 1.5-3mm offset), 15mm 	$1,500.00

(1.5-2.5mm x 2.5-4.5mm offset)

LH348	Hemi CAP Articular Resurfacing Great Toe System	Fixation Component	8mm x 16mm, 9.5mm x 18mm	$900.00

6.1.6.1.3 Great toe, phalangeal component

Advanced Surgical Technologies

AD110	Wright Titanium Great Toe	Great toe titanium	0,1, 2, 3, 4	$1,308.00

AD277	LPT Great Toe Implant	Titanium LPT Metatarsal Component available in Regular 	Sizes 1, 2 & 3 Regular Great Toe Implants. 	$1,290.00

and Angled Toe	Sizes 1 & 2 Angled Great Toe Implants

Lifehealthcare Pty Ltd

LH232	Toe Joint	Metallic Hemiarthroplasty resurfacing prosthesis for the 	8mm - 23 mm	$1,205.00

Metatarsophalangeal Joint

LMT Surgical Pty Ltd

LM015	Kinetik Great Toe Implant	Phalangeal Component made of titanium alloy 01-2010, 	0,1,2,3	$2,400.00

01-2012, 01-2014, 01-2016

Smith & Nephew Surgical Pty Ltd

SM009	Toefit - Plus	Titanium Alloy	Phalangeal Component XS-L	$790.00

6.1.6.1.5 Great toe, IP joint

LMT Surgical Pty Ltd

LM031	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma coating	1-4	$1,500.00

Surgiplas Medical

SP055	Hemi-Great Toe Implant	Great Toe implant, Cobalt Chromium	XS, S, M, L	$1,500.00

Prostheses List by Category, Groups and Sponsor	Page 282 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.1.6.2 Foot, other toe

Biomet Australia Pty Ltd

BI022	Toe Joint Replacement	Phalangeal Component, Titanium	Small, Medium, Large Extra Large. 	$1,073.00

6.1.6.2.1 Other toe, metatarsal component

Biomet Australia Pty Ltd

BI021	Total Toe System	Metatarsal Component UHMWPE, Titanium	Small, Medium, Large Extra Large.	$2,000.00

Smith & Nephew Surgical Pty Ltd

SM008	Toefit - Plus	Titanium alloy	Metatarsal Component XS-L	$810.00

Surgiplas Medical

SP061	Reflexion 1st MPJ Implant System	Reflexion metatarsal stems, 3 part 1st MPJ reconstruction 	Small, medium, large	$991.00

system, 2 part composition - titanium/cobalt chrome, 1 part

composition - titanium/UHMWPE,

6.1.6.2.3 Other toe, phalangeal component

Surgiplas Medical

SP063	Reflexion 1st MPJ Implant System	ReflexionPhalangeal Bases, 3 part 1st MPJ reconstruction 	Small, medium, large	$1,000.00

system, 2 part composition - titanium/cobalt chrome, 1 part

composition - titanium/UHMWPE,

6.1.6.2.5 Other toe, PIP

Advanced Surgical Technologies

AD109	WMT Orthopaedics Implants Hinge Toe and 	Silastic flexible hinge toe with/without grommets	0, 1, 2, 3, 4, 5, 6, 7	$577.00

Hammertoe Implant

6.1.6.2.7 Toe, articular insert or liner

Smith & Nephew Surgical Pty Ltd

SM045	Toefit - Plus	Chromium Cobalt	Distal Insert 13 - 17mm	$740.00

SM046	Toefit - Plus	Polyethylene	Polyethylene Distal Insert 11 - 15mm	$530.00

Prostheses List by Category, Groups and Sponsor	Page 283 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.4.2.2 Carpal or tarsal bone fixation screw

Johnson & Johnson Medical Pty Ltd

DP878	Barouk System Staples	Varisation Staple  Stainless Steel	26-90Deg x 8-10mm	$193.00

6.4.1 Hand

Finsbury Orthopaedics Australia Pty Ltd

FI045	PIPR Finger Joint	Proximal Interphalangeal Replacement Joint	Sizes 7 through to 11	$1,500.00

6.4.1.1.1 Thumb, MCP

Lifehealthcare Pty Ltd

LH197	SR Hand Implant System	SR Hand MCP/PIP/TMC (Basal Thumb) Implants - 	XS/S/M/L/XL, 1,2,3,4,5	$1,569.00

CoCr- Titanium Alloy, UHMWPE

6.4.1.2.1 Finger, PIP

Johnson & Johnson Medical Pty Ltd

DY400	Neuflex Finger	Neuflex PIP	1 to 20	$770.00

Lifehealthcare Pty Ltd

LH329	PIP Finger Prosthesis 'DGT"	Proximal part Stainless Steel textured in Cobalt Chrome	1,2 or3	$1,248.00	Tempory approval, pending review of product

group

LMT Surgical Pty Ltd

LM011	Ascension PIP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P 20D/20P, 30D/30P, 40D/40P	$1,400.00

LM047	Ascension Pyrodisc	Pyrocarbon interpositional prosthesis intended for use in the	1-5	$1,500.00

CMC basal thumb joint

LM053	Osteotec Silicone PIP Joint Replacement	2 component hinged joint replacement for the proximal 	5 - 50	$560.00

interphalangeal joint

6.4.1.2.3 Finger, Interphalangeal joint, unspecified

Lifehealthcare Pty Ltd

LH257	Preflex	MCP Finger Joint Implant	00/10/20/30/40/50/60mm	$611.00

Prostheses List by Category, Groups and Sponsor	Page 284 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LMT Surgical Pty Ltd

LM095	Hinged finger joint	Hinged finger joint replacement	5 sizes screw component - 4 x 18mm, 5 x 	$2,288.00	$2,500.00

18mm, 6 x 20mm, 7 x 22mm, 8 x 25mm; 1

size pivot component

6.4.1.2.4 Finger, Interphalangeal joint, Distal part

Lifehealthcare Pty Ltd

LH344	PIP Finger Prosthesis "DGT"	Distal part, Stainless Steel texture with Cobalt Chrome	1,2 or3	$1,040.00	Temporary approval, pending review of

product group

6.4.1.3.2 Metacarpal stem or distal component

Lifehealthcare Pty Ltd

LH328	MCP Finger Prosthesis "Ariadna"	Distal part, Stainless Steel	1,2 or3	$1,040.00	Tempory approval, pending review of product

group

LH333	Trapezio Metacarpal Prosthesis DLC	Stem - Cobalt Chrome	1 or 2	$884.00	Temporary approval, pending review of

product group

HA or plasma coated

Lifehealthcare Pty Ltd

LH335	Elektra Stem	Cobalt Chromium/Hydroxyapatite coated	6-8mm	$1,664.00	Temporary approval, pending review of

product group

6.4.1.3.3 Metacarpal total (one piece head and stem)

Advanced Surgical Technologies

AD159	WMT Orthopaedic Implants Finger/Thumb	Silastic finger joint with/without Ti grommets 470 series	00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	$585.00

6.4.1.3.4 MCP joint

Advanced Surgical Technologies

AD106	Orthosphere	Yttria-stabilized zirconia ceramic	9mm - 14mm	$2,150.00

Johnson & Johnson Medical Pty Ltd

DP573	Neuflex Finger   	Neuflex MCP implant - Anasil Silicone	Size 0-60	$762.00

Prostheses List by Category, Groups and Sponsor	Page 285 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LMT Surgical Pty Ltd

LM018	Ascension Silicone Finger joint replacement	MCP/PIP moulded silicone finger joint	Various	$800.00

Orthotech Pty Ltd

OH202	Daphne	Metacarpophalangeal Joint Prosthesis	3, 4, 5, 6	$1,040.00

pyrocarbon

LMT Surgical Pty Ltd

LM012	Ascension MCP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P, 20D/20P, 30D/30P, 40D/40P, 	$1,400.00

50D/50P,

6.4.1.3.5 Metacarpal proximal component

Lifehealthcare Pty Ltd

LH330	MCP Finger Prosthesis "Ariadna"	Proximal part, Stainless Steel	1,2,or 3	$1,248.00	Tempory approval, pending review of product

groups

Mathys Orthopaedics Pty Ltd

MA081	Finger	Prosthesis - distal, proximal, standard, large	L18 D4.0 - L26 D6.0	$1,600.00	$2,000.00

cup only

Lifehealthcare Pty Ltd

LH338	Trapezio Metacarpal Prosthesis DLC	Cup, Polyethylene	One size only	$416.00	Tempory Approval, pending review of product

group

neck only

Lifehealthcare Pty Ltd

LH339	Trapezio Metacarpal Prosthesis DLC	Neck Cobalt Chrome	Short, Medium or long	$780.00	Tempory approval, pending review of product

group

pyrocarbon

LMT Surgical Pty Ltd

LM028	Ascension pyrocarbon carpal implant	Pyrocarbon carpal prostheses	Multiple sizes	$1,935.00

6.4.2 Wrist

6.4.2.1 Wrist, scaphoid bone

Advanced Surgical Technologies

AD167	Wright Swanson Titanium Carpal Scaphoid, Carpal 	Titanium	1 - 5 left and right	$1,318.00

Lunate, Basal Thumb Implant

Prostheses List by Category, Groups and Sponsor	Page 286 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthopaedic Solutions Pty Ltd

OE002	BioProfile Pyrocarbon Carpal Components	Includes: Proximal Scaphoid; Scapho-Trapezium; 	One Size Only	$4,350.00

Resurfacing Capitate & Trapezium Interposition Implants.

Composition: Pyrolitic Carbon

6.4.2.2 Carpal or tarsal bone fixation screw

Advanced Surgical Design & Manufacture Ltd

AE080	Carpal Fusion System Screw	316L Stainless Steel, Low Profile Custom Thread Screw	2 - 7 mm Diameter 12 - 24mm Length	$440.00

Johnson & Johnson Medical Pty Ltd

DP868	Barouk Screw System	Barouk Screw - Titanium	10-34mm Length	$210.00

DP879	Barouk System Staples	Memory Staple - Titanium Alloy	12-20mm Long	$710.00

DP880	Barouk System Staples	TIFLEX Staple  / Pin -  Titanium	1.6 - 2.5 Dia 7-24mm width 13/15-36/50mm 	$217.00

Length

DP883	Barouk SCR Sys Staples and Buttons	Barouk Screw System Button Prosthesis - SS or Ceramic	8-20mm	$307.00

Lifehealthcare Pty Ltd

LH254	 Total Wrist Implant System	Carpal Screws	15, 18, 22, 26, 30mm	$131.00

LH334	Carpal Screw	Titanium	2.5mm diameter in sizes 12mm - 20mm length	$125.00

LH358	Screws	Diamond Carpal Screws	12, 14, 16mm	$100.00

Zimmer Pty Ltd

ZI178	Zimmer Internal Fixation Systems: Herbert Bone Screw	Scaphiod - Titanium	Scaphoid - 12 - 30mm length	$360.00

ZI179	Zimmer Internal Fixation Systems: Herbert Bone Screw	Herbert/Whipple - Titanium	12 mm - 30 mm	$420.00

ZI180	Zimmer Internal Fixation Systems: Herbert Bone Screw	Cannulated 4.5mm - Titanium	30 - 70mm	$450.00

ZI181	Zimmer Internal Fixation Systems: Herbert Bone Screw	Cannulated 6.5mm - Titanium	25 mm - 100mm	$490.00

Prostheses List by Category, Groups and Sponsor	Page 287 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.4.2.3 Wrist, trapezium

Advanced Surgical Technologies

AD163	WMT Orthopaedic Implants Hand	Trapezium silastic	1, 2, 3, 4, 5	$590.00

trapezial cup only

Lifehealthcare Pty Ltd

LH346	Elektra Cup	Cobalt Chromium and Hydroxyapatite coating	One size only	$884.00	Temporary approval, pending review of

product group

6.4.2.4 Wrist, other carpal bone

carpal component

Lifehealthcare Pty Ltd

LH255	Total Wrist Implant System	Carpal Ball	Small, Medium, Large	$445.00

6.4.2.5 Wrist, Distal Radius

neck only

Lifehealthcare Pty Ltd

LH336	Elektra Neck	Cobalt Chromium	Extra Short, Short, Medium, Long	$780.00	Temporary approval,pending review of product

group

6.4.2.6 Wrist, Distal Ulna

LMT Surgical Pty Ltd

LM056	Ascension DRUJ Ulna Head, Implant System	Cobalt chromium stem with PyroCarbon or Cobalt 	0, 1, 2, 3, 4	$2,300.00

Chromium Articular Surface

head only

Advanced Surgical Technologies

AD283	E-Centrix Ulnar Head Replacement	Ulnar Head	16 x 1.5mm Offset, 16 x 3.0mm Offset, 18 x 	$1,525.00

1.5mm Offset, 20 x 1.5Offset, 20 x 3.0mm

Offset

stem extender

Advanced Surgical Technologies

AD285	E-Centrix Ulnar Head Replacement	Ulnar Stem Extender	20mm	$820.00

Prostheses List by Category, Groups and Sponsor	Page 288 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

stem only

Advanced Surgical Technologies

AD284	E-Centrix Ulnar Head Replacement	Ulnar Stem	5.5 STD, 6.5 STD, 7.5 STD, 8.5 STD	$1,410.00

6.4.2.7 Wrist, total

Lifehealthcare Pty Ltd

LH253	Total Wrist Implant System	Left and Right Radial Components	Small, Medium, Large	$3,275.00

LMT Surgical Pty Ltd

LM010	Universal Total Wrist Implant System (UTW)	Consists of 3 parts, proximal radius component made of 	Radial Component - Small - left & right, 	$9,500.00

cobalt/chrome, distal titanium plate, titanium screws and 	Medium - left & right, Large - left & right;

polyethylene joint surface	Carpal Component - Small, Medium, Large;

Polyethylene Carpal Component - Small -

Standard, +1, +2,  Medium - Standard, +1,

+2, Large - Standard, +1, +2; Bone Screws -

4.

carpal plate component only

Lifehealthcare Pty Ltd

LH256	Total Wrist Implant System	Carpal Component	Small, Medium, Large	$2,645.00

6.5.1 Elbow joint, Accesssory

6.5.1.1 Elbow joint, Accesssory, End cap or plug

Tornier Pty Ltd

TO013	Tornier Latitude Total Elbow Prosthesis	Ulnar Cap	Small, Medium, Large	$1,530.00

6.5.1.6 Elbow joint, Accesssory, screw or bolt for stem

Advanced Surgical Technologies

AD274	Evolve Locking Cancellous Bone Screws	The Evolve stainless steel locking screw	2.0mm x 14 - 28mm	$100.00

AD305	Micronail Intramedullary Radial Fixation	2.5mm ti buttress screw	16 - 28mm	$250.00

Prostheses List by Category, Groups and Sponsor	Page 289 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY142	Acclaim Elbow	Pin Assembly  or Pin or Poly sleeve  or Unlinked Poly Ulnar	One size only	$332.00

DY146	Acclaim Elbow	Linked Ulnar Bearing Screw	One size only	$230.00

LMT Surgical Pty Ltd

LM048	Ascension Radial Head Locking Plate and screws	Titanium pre-formed anatomical radial head Screws	10mm - 40mm	$160.00

6.5.2 Elbow joint, Humeral component

Johnson & Johnson Medical Pty Ltd

DY137	Acclaim Elbow	Humeral Stem, Std/Lge	100-200mm	$7,185.00

DY139	Acclaim Elbow	Humeral Bobbin	One size only	$2,565.00

Stryker Australia Pty Ltd

HW377	Souter Strathclyde Elbow	Humeral - Long stem, left and right	Medium, Large	$2,665.00

includes articulating component

Zimmer Pty Ltd

ZI004	Coonrad-Morrey Elbow	Humerus - Titanium	4, 6, 8 inch, Left & Right	$4,618.00

includes neck

Zimmer Pty Ltd

ZI342	GSB Cemented Elbow	GSB Humerus - CoCr alloy/PE	76,86,86L  	$4,673.00

Revision

Stryker Australia Pty Ltd

HW379	Souter Strathclyde Elbow	Revision Humeral  - Custom, Long Stem	A, B, C, D	$8,942.00

6.5.3 Elbow joint, Radial component

6.5.3.1 Elbow joint, Radial component, head and stem

Stryker Australia Pty Ltd

ST818	Osteonics Solar Elbow System - humeral assembly	Titanium alloy with polyethylene bushing	Standard, large	$3,570.00

Prostheses List by Category, Groups and Sponsor	Page 290 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Tornier Pty Ltd

TO005	Radial Head Prostheses 	Ti CoCr, Elbow prostheses, consists of Radial Stem + Cup.	Stem 6.5mm & 8mm Mod Head size 19mm 	$3,816.00

& 22mm

TO014	Tornier Latitude Total Elbow Prosthesis	Radial Head, Radial Stem	Radial Head - (Small, Medium, Large); Radial	$1,980.00

Stem - (Diameter - 5mm, 6.5mm)

long

Stryker Australia Pty Ltd

ST819	Osteonics Solar Elbow System - long humeral assembly	Titanium alloy with polyethylene bushing	Standard, large	$4,618.00

modular

Biomet Australia Pty Ltd

BI950	Explor Radial Head	Radial head stem. Ti	Heads 20-24mm Stems 5-9mm	$4,490.00

6.5.3.2 Elbow joint, Radial component, head

Advanced Surgical Technologies

AD160	WMT Orthopaedic Implants Radial/Ulna Head	Radial head implant HP silastic	1, 1.5, 2, 2.5, 3	$730.00

AD161	WMT Orthopaedic Implants Radial/Ulna Head	Radial head titanium	1, 1.5, 2, 2.5, 3	$1,720.00

AD303	Evolve Modular Radial Head	Cobalt chromium alloy head	Head 18-28mm Std, +2 and +4mm	$1,334.00

Biomet Australia Pty Ltd

BI695	Liverpool Radial Head Replacement System	Porous Coated CO CR Stem	16 x 18mm length, 18 x 14 - 28mm Length	$2,900.00

Corin Australia Pty Ltd

CR002	Corifix Radial Head Implant	Cobalt chrome	Small - Large	$1,325.00

Johnson & Johnson Medical Pty Ltd

DY414	Guepar Radial Implants	Radial Stem, Radial Head	+0 to+4	$1,558.00

DY415	Guepar Radial Implants	Radial Stem, Radial Head	14/12mm to 16/16mm	$1,558.00

Prostheses List by Category, Groups and Sponsor	Page 291 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LMT Surgical Pty Ltd

LM043	Ascension Radial Head	The Ascension Radial Head is modular with a Pyrocarbon 	Head Size - 20 Short and Long, 22 Short and	$3,090.00	$3,500.00

Head and Metal Stem which is made of Cobalt Chromium 	 Long, 24 Short and Long; Stem Size -

Alloy compliant with  ASTM F1537-00, also available in 	01/02/03/04

all CoCr

Medical & Optical Instruments Australia Pty Ltd

MO270	Acumed Total Radial Head	Head	20-28mm	$3,300.00

Stryker Australia Pty Ltd

HW381	Radial Head Prostheses	Radial Head - Small, Medium, Large	8 - 15mm	$2,245.00

6.5.3.3 Elbow joint, Radial component, stem

Advanced Surgical Technologies

AD105	Evolve Modular Radial Head	Cobalt chromium alloy, standard and plus stems	Stem 4.5 - 9.5mm Standard, +2 & +4mm	$1,325.00

Medical & Optical Instruments Australia Pty Ltd

MO271	Acumed Total Radial Head	Stem	6-10mm diameter, 0-8mm neck height	$2,100.00

6.5.3.4 Elbow joint, Radial component, radial head baseplate

Advanced Surgical Technologies

AD272	Evolve Radial Head Plate	Evolve Radial Plate System Stainless Steel	32mm x 20 - 26mm in 2mm increments	$1,360.00

LMT Surgical Pty Ltd

LM057	Ascension Radial Head Locking Plate and Screws	Titanium pre-formed anatomical radial head plate	small and large	$1,310.00

Synthes Australia Pty Ltd

SY354	Small & Mini Fragment Plates	LCP Radial Head Plates	2.4mm	$1,320.00

6.5.4 Elbow joint, Ulnar component

head

Medical & Optical Instruments Australia Pty Ltd

MO146	Martin Ulna Head prosthesis	Ceramic Head, Chromium Cobalt	Small, medium and large	$2,800.00

Prostheses List by Category, Groups and Sponsor	Page 292 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

stem

Johnson & Johnson Medical Pty Ltd

DY138	Acclaim Elbow	Ulnar Stem, Std/Lge-Left/Right	60-85mm	$1,300.00

Zimmer Pty Ltd

ZI003	Coonrad-Morrey Elbow	Ulna - Titanium	Petite, Left, Right	$3,577.00

ZI344	GSB Cemented Elbow	GSB Ulna Component - CoCr alloy	12/71,12/61,16/71,16/61	$1,313.00

stem extension

Zimmer Pty Ltd

ZI464	GSB Elbow	Ulna Extension	One size only	$1,339.00

stem,uncemented

Medical & Optical Instruments Australia Pty Ltd

MO145	Martin Ulna Head prosthesis	Stem Titanium	Small, medium and large,2mm,4mm and 	$2,258.00

17mm collar

6.5.4.1 Elbow joint, Ulnar component

Stryker Australia Pty Ltd

HW378	Souter Strathclyde Elbow	Ulnar - Retentive, non retentive	50 - 90mm (Non), 70 - 90mm (Retentive)	$1,670.00

ST820	Osteonics Solar Elbow System - ulna component	Titanium alloy	Small, standard, large	$1,410.00

Revision

Stryker Australia Pty Ltd

HW380	Souter Strathclyde Elbow	Revision Ulnar - Custom, Long stem	Small, Medium	$4,425.00

6.5.4.2 Elbow joint, olecranon sled

LMT Surgical Pty Ltd

LM065	TriMed Olecranon Sled	Stainless Steel Wire Form	Length 40-90mm	$298.00	$600.00

6.5.4.3 Elbow joint, Ulnar Bearing

Johnson & Johnson Medical Pty Ltd

DY288	Acclaim Elbow	Unconstrained Ulnar Poly Bearing	15mm	$230.00

Prostheses List by Category, Groups and Sponsor	Page 293 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.5.5 Elbow joint, Total

Advanced Surgical Technologies

AD156	Sorbie Questor Elbow System	Total joint CoCr and UHMWPE	Left and right in sizing 48mm wide, 46mm, 	$2,577.00

44mm

Biomet Australia Pty Ltd

BI016	IBP Elbow	Cemented, UHMWPE, Titanium, Cobalt Chrome	Small Standard, Large, Xlarge 	$5,800.00

BI781	Discovery Elbow System	UHMWPE, Ti	3 - 6 mm x 75 - 150 mm	$9,700.00

Tornier Pty Ltd

TO012	Tornier Latitude Total Elbow Prosthesis	Humeral Spool, Humeral Stem, Ulnar Stem	Humeral Spool - (Small, Medium, Large) 	$9,925.00

(Anterior, Posterior, Centered) (Left, Right);

Humeral Stem - (Small, Medium, Large)

(Left, Right); Ulnar Stem - (Small, Medium,

Large) (Left, Right)

6.5.7 Elbow joint, Liner or Bushing

Johnson & Johnson Medical Pty Ltd

DY140	Acclaim Elbow	Linked Ulnar Metal Bearing or Polyethylene Yoke	One size only	$555.00

Zimmer Pty Ltd

ZI005	Coonrad-Morrey Elbow	Bushing -  Polyethylene, Titanium	1 & 2	$1,440.00

ZI465	GSB Elbow	Special Bushing for Humerous	Length 76 - 86mm	$1,650.00

6.6.1 Shoulder joint, Accesssory

6.6.1.2 Shoulder joint, Accesssory, Shell or articular component screw

Synthes Australia Pty Ltd

SY435	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid Screw	8-30mm	$250.00

Prostheses List by Category, Groups and Sponsor	Page 294 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.1.4 Shoulder joint, Accesssory, Spacer

Johnson & Johnson Medical Pty Ltd

DP964	Delta Shoulder system	Humeral Spacer INOX / ST.Steel / Nichtrostender St.	Dia 36/42 + 9	$1,420.00

JJ561	DELTA Xtend	Humeral Spacer	9mm	$1,420.00

Lima Orthopaedics Australia Pty Ltd

LC036	Lima RPS Tumor System	RPS Additional Spacer	40, 60, 90, 120mm	$1,900.00

Synthes Australia Pty Ltd

SY433	Epoca Custom Offset Shoulder Prosthesis	Epoca Eccenter	One size only	$540.00	$600.00

Zimmer Pty Ltd

ZI530	Zimmer Trabecular Metal Reverse Shoulder System	Spacer	9mm, 12mm Taper Insert	$1,420.00

6.6.1.6 Shoulder joint, Accesssory, screw or bolt

Johnson & Johnson Medical Pty Ltd

DP894	Rockwood Shoulder Screw	Rockwood Shoulder Screw  S/S	One size only	$231.00

6.6.1.6.1 Shoulder joint, Accesssory, screw or bolt for stem

Global Orthopaedic Technology

GO153	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm	$225.00

6.6.1.6.2 Shoulder joint, Accesssory, screw or bolt for cup

Biomet Australia Pty Ltd

BI220	Bio-Modular Shoulder System	Glenoid Screw	5mm x (15-40mm)	$145.00

Endotec Australia Pty Ltd

EA038	BUECHEL-PAPPAS SHOULDER REPLACEMENT 	CANCELLOUS BONE SCREW TiNi COATED	15mm, 20mm & 25mm	$140.00

SYSTEM - BONE SCREW FOR GLENOID

FIXATION CUP

Johnson & Johnson Medical Pty Ltd

DP954	Delta Shoulder system	Metaglene Screw Stainless Steel	3.5mm and 4.5mm	$213.00

JJ557	DELTA Xtend	Non Locking Metaglene Screw Dia 4.5	4.5mm; 18, 24, 30, 36, 42	$215.00

Prostheses List by Category, Groups and Sponsor	Page 295 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Tornier Pty Ltd

TO046	Aequalis Reversed Shoulder - Self Locking Screw	Titanium	D45mm, L20 to 50mm	$296.00

TO047	Aequalis Reversed Shoulder - Fixation Screw for 	Titanium	D. 4.5mm, L 18 to 45mm	$230.00

Articular Implant

Zimmer Pty Ltd

ZI534	Zimmer Trabecular Metal Reverse Shoulder System	Inverse/Reverse Screw 4.5mm	18mm, 24mm, 27mm, 30mm, 33mm, 36mm, 	$145.00

42mm, 48mm

cementless

Lifehealthcare Pty Ltd

LH307	HemiCAP Contoured Articular Resurfacing Shoulder 	Fixation Screw - Titanium	Fixation component for 25mm, 30mm, 35mm,	$1,545.00	Used with Billing code TB306

System	 40mm Artuclar Components Screw 10.5mm

Dia & 12.5mm Dia & 13.7mm Dia

Locking

Johnson & Johnson Medical Pty Ltd

JJ558	DELTA Xtend	Locking Metaglene Screw Dia 4.5	4.5mm; 24, 30, 36, 42, 48	$276.00

6.6.1.7 Shoulder joint, Accesssory, Adaptor

Lima Orthopaedics Australia Pty Ltd

LC037	Randelli/SMR Total Shoulder	Randelli/SMR Eccentrical Adapter	0 - 6mm	$1,000.00

Zimmer Pty Ltd

ZI531	Zimmer Trabecular Metal Reverse Shoulder System	Dual Taper Insert	One Size Only	$1,000.00

6.6.1.8 Shoulder joint, Accesssory, Taper

Johnson & Johnson Medical Pty Ltd

JJ615	Global AP Shoulder	Fixed 135 Degree taper Assembly	135 Degree Angle	$1,118.00

JJ616	Global AP Shoulder	Ball Taper Adjustable Neck Assembly	N/A	$1,050.00

Prostheses List by Category, Groups and Sponsor	Page 296 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.2 Shoulder, glenoid component

Biomet Australia Pty Ltd

BI217	Bio-Modular Shoulder System	Glenoid Component, Cemented, Titanium/UHMWPE	Small, Medium, Large x 4 or 7mm	$1,731.00

Smith & Nephew Surgical Pty Ltd

SN889	Promos Modular Shoulder system	Glenoid Base Plate with Ti/HA-Ti 6A i4V	5-20mm, 1-5, Small, Medium, Large	$2,100.00

SN892	Promos Reverse Modular Shoulder System	Glenoid Base Plate	5-20mm  1-5  Small Medium Large	$2,100.00

Zimmer Pty Ltd

ZI440	Anatomical	Glenoid - PE	S, M, L	$1,459.00

ZI442	Select Shoulder	Glenoid - PE	S, M, L, XL 	$920.00

cementless

Endotec Australia Pty Ltd

EA025	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Glenoid Fixation Cup - Ceramic coated titanium	44mm-52mm	$2,100.00

System (Primary and Revision)

Ceramicised coat

Endotec Australia Pty Ltd

EA031	Buechel-Pappas Ultracoat Total Shoulder Replacement 	All-Poly Glenoid	2-4	$1,950.00

System (Primary & Revision)

6.6.2.1 Shoulder, Glenoid component, shell

Johnson & Johnson Medical Pty Ltd

DP899	S-Fit Metal Glenoid	S-FIT M/B Glenoid 	Size 40-52	$2,920.00

Metal backed

Device Technologies Australia Pty Ltd

DE169	Univers 3D Shoulder Prostheses	Glenoid Metal Back	Small, Medium, Large	$1,419.00

6.6.2.1.1 Shoulder, Glenoid component, shell, cemented

Device Technologies Australia Pty Ltd

DE172	Univers 3D Shoulder Prostheses	Cemented glenoid	Small, Medium, Large	$930.00

Prostheses List by Category, Groups and Sponsor	Page 297 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lima Orthopaedics Australia Pty Ltd

LC008	Randelli/SMR Shoulder System	Cemented Glenoid	Mini, Small, Standard	$1,990.00

Smith & Nephew Surgical Pty Ltd

SM114	Promos Shoulder Replacement	Glenoid	1-23: - 4-29	$1,300.00

SN411	Neer	Neer II Glenoid	Standard Glenoid  Resurf Glenoid XS Metal 	$950.00

Back Glenoid XS

Synthes Australia Pty Ltd

SY434	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid	40mm - 54mm	$1,600.00

keeled

Tornier Pty Ltd

TO004	Aequalis Primary Shoulder Prostheses	UHMWPE Keeled Glenoid Component	31mm,35mm,39mm dia (small, medium & 	$1,670.00

large)

pegged

Tornier Pty Ltd

TO015	Aequalis Pegged Glenoid USA	Pegged Glenoid Polyethylene (UHMWPE)	Small, Medium, Large, Extra Large	$1,995.00

6.6.2.1.2 Shoulder, Glenoid component, shell, uncemented

Biomet Australia Pty Ltd

BI221	Bio-Modular Shoulder System	Glenoid Shell, Titanium	Low Profile	$1,660.00

ESKA Australia

EK074	ESKA Modular Shoulder System	Glenoid	Universal Size	$950.00

Smith & Nephew Surgical Pty Ltd

SN398	Cofield 	Glenoid Component Metal backed	Standard Base. Base Insert.  Glenoid Comp 	$2,220.00

Sm, Stan, St W/off

Zimmer Pty Ltd

ZI304	Bigliani Shoulder System	Bigliani-Flatow shoulder - Glenoid (UHMWPE)	40, 46 and 52mm diameters	$2,320.00

Bipolar system

Biomet Australia Pty Ltd

BI208	Bi-Angular Shoulder System	Bi Polar Shell, Titanium/ UHMWPE/Chrome Cobalt	Size 40-60mm	$1,660.00

Prostheses List by Category, Groups and Sponsor	Page 298 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

cementless

Lima Orthopaedics Australia Pty Ltd

LC038	Randelli/SMR Shoulder System	Uncemented Glenoid	Mini, Small, Standard	$2,220.00

HA coated,cementless

Biomet Australia Pty Ltd

BI344	Copeland Shoulder System	Glenoid Component, HA Coated, Chrome Cobalt, 	Small, Std, Extra Deep (no specific size)	$3,300.00

UHMWPE

Metal backed

Zimmer Pty Ltd

ZI319	Bigliani Flatow Total Shoulder System - Glenoids	Trabecular Metal Backed Glenoid (uncemented)	Diameter 40 - 52mm	$4,088.00

6.6.2.2 Shoulder, liner or insert

Biomet Australia Pty Ltd

BI219	Bio-Modular Shoulder System	Glenoid Liner Noncemented, UHMWPE	Low Profile	$1,020.00

Device Technologies Australia Pty Ltd

DE170	Univers 3D Shoulder Prostheses	Glenoid PE-Inlay	Small, Medium, Large	$920.00

Endotec Australia Pty Ltd

EA026	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Glenoid Bearing - Polyethelene	2 to 4	$950.00

System (Primary and Revision)

Global Manufacturing Technology Pty Ltd

GM105	Lobe Lok Total Shoulder System	Humeral Socket Ply Insert-UHMWPE	Small to Large	$1,903.00

Global Orthopaedic Technology

GO151	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm	$1,903.00	Temporary approval. Review in November

2007 cycle.

Johnson & Johnson Medical Pty Ltd

DP898	S-Fit Metal Glenoid	S-FIT Glenoid Bearing 	Size 40-52	$1,040.00

JJ553	DELTA Xtend	High Mobility Humeral PE Cup	38 + 42;  3, 6, 9mm	$1,280.00

Lima Orthopaedics Australia Pty Ltd

LC039	Randelli/SMR Shoulder System	Uncemented Glenoid Liner	Mini, Small, Standard	$1,960.00

Smith & Nephew Surgical Pty Ltd

SN399	Cofield 	Glenoid Insert	Small, Standard	$400.00

Prostheses List by Category, Groups and Sponsor	Page 299 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN407	Modular Cofield	Posterior Lipped All poly Glenoid	Small - Large	$1,650.00

SN409	Modular Cofield	Standard Articular Insert	Small, Standard	$470.00

Stryker Australia Pty Ltd

ST676	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral inner head, cobalt chromium	22mm with 0, +2 and +4mm neck lengths	$1,835.00

Synthes Australia Pty Ltd

SY437	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid Insert	42 - 54mm	$1,200.00

Zimmer Pty Ltd

ZI529	Zimmer Trabecular Metal Reverse Shoulder System	Polyethylene Liner	Standard 7 Deg. & Retentive 65 Deg; 36mm 	$1,100.00

- Neutral, Plus 3mm, Plus 6mm; 40mm -

Neutral, Plus 3mm, Plus 6mm

bearing

Stryker Australia Pty Ltd

HW203	Howmedica Modular Resection System	Bearing -  Vitallium	One size only	$178.00

HW213	Howmedica Modular Resection System	Humeral Bearing -  Vitallium	One size only	$175.00

eccentric

Tornier Pty Ltd

TO040	Aequalis Reversed Shoulder Eccentric humeral Insert 	Eccentric Humeral Insert (High Mobility Cup) for Aequalis 	36mm and 42mm, 2mm eccentric +6mm and 	$1,280.00

(High Mobility Cup)	Reversed Shoulder	+9mm, 4mm eccentric +9mm and +12mm

Metal backed,HA coated

Global Manufacturing Technology Pty Ltd

GM100	Lobe Lok Total Shoulder System	Glenoid - Metal Backed UHMWPE Ti HA	Small to Large	$3,200.00

6.6.2.3 Shoulder, Glenosphere

ESKA Australia

EK076	Rotator Cuff Head CTA Head	Rotator Cuff Head CoCr	small, medium, large	$2,330.00	$3,000.00

Global Orthopaedic Technology

GO143	Foundation Shoulder System	Pegged & Keeled Glenoid, compression moulded 	38mm to 54mm	$1,875.00

UHMWPE

GO150	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm	$2,875.00	Temporary approval. Review in November

2007 cycle.

Prostheses List by Category, Groups and Sponsor	Page 300 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP952	Delta Shoulder system	Centror Glenoid INOX / ST.Steel / Nichtrostender St.	Size 36-40 /42	$2,290.00

DP962	Delta Shoulder system	DELTA Humeral Head INOX / ST.Steel / Nichtrostender 	36 - 42 mm in +0-+4	$1,200.00

St.

JJ556	DELTA Xtend	Standard Glenosphere	38 + 42	$2,290.00

Tornier Pty Ltd

TO038	Aequalis Reversed Shoulder Eccentric Glenosphere	Eccentric Glenoid Sphere for Aequalis Reversed Shoulder	36mm and 42mm, eccentricity +2mm, 4mm or	$2,375.00

6mm.

TO039	Aequalis Reversed Shoulder Wear Compensation 	Wear Compensation Glenoid Sphere for Aequalis 	36mm and 42mm, wear compensation 5 	$2,508.00

Glenosphere	Reversed shoulder.	degrees or 10 degrees, combination wear

compensation 5 degrees or 10 degrees and

eccentricity +2mm, 4mm or 6mm.

TO042	Aequalis Reversed Shoulder -Glenoid Sphere	CoCr, Ti Alloy	D.36mm & 42mm	$2,453.00

Zimmer Pty Ltd

ZI532	Zimmer Trabecular Metal Reverse Shoulder System	Glenosphere - CoCr - Mo Alloy	36mm, 40mm	$1,200.00	$1,500.00

eccentric

Johnson & Johnson Medical Pty Ltd

JJ555	DELTA Xtend	Eccentric Glenosphere	38 + 42	$2,375.00

6.6.2.4 Glenoid baseplate for glenosphere attachment

Johnson & Johnson Medical Pty Ltd

DP950	Delta Shoulder system	Standard Metaglene  INOX/ ST. Steel + Aluminia+HAC	One size only	$2,100.00

JJ562	DELTA Xtend	Metaglene	.	$2,096.00

Tornier Pty Ltd

TO041	Aequalis Reversed Shoulder -Glenoid Base Plate	Ti HA Coated	One Size	$2,245.00

Zimmer Pty Ltd

ZI533	Zimmer Trabecular Metal Reverse Shoulder System	Trabecular Metal Reverse Base Plate - Ti Alloy & Tantalum	One Size Only	$2,100.00	$3,500.00

Prostheses List by Category, Groups and Sponsor	Page 301 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HA coated

Global Orthopaedic Technology

GO149	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large	$2,875.00	Temporary approval. Review in November

2007 cycle.

Johnson & Johnson Medical Pty Ltd

DP951	Delta Shoulder system	Revision Metaglene INOX/ ST. Steel + Aluminia+HAC	One size only	$2,508.00

Revision

Tornier Pty Ltd

TO037	Aequalis Reversed Shoulder - Revision Base Plate 	Long pegged base plate/ metaglene for revision reversed 	One Size: Long Peg	$2,508.00

(Metaglene)	shoulder.

6.6.2.5 Shoulder, Glenoid component, flange

Global Manufacturing Technology Pty Ltd

GM103	Lobe Lok Total Shoulder System	Contoured Glenoid Flange Ti	Small to Large	$2,035.00

6.6.2.6 Shoulder, Glenoid component, total

Biomet Australia Pty Ltd

BI342	Copeland Shoulder System	Glenoid, UHMWPE	One size only	$1,965.00

Johnson & Johnson Medical Pty Ltd

DP086	Global Shoulder 	Global FIN/ Peg  Glenoid	Size 40-56	$2,215.00

DY360	Global Advantage Shoulder	Anchor Peg Glenoid	40 to 56 mm	$2,770.00

Mathys Orthopaedics Pty Ltd

MA450	Affinis Total Shoulder Prosthesis	Glenoid - CoCr; Stem - Titanium; Glenoid - UHMWPE	Size 1 to 4 Cemented	$2,200.00

Smith & Nephew Surgical Pty Ltd

SN397	Cofield 	Glenoid All Polyethylene component	Small, Standard	$1,650.00

SN400	Modular Cofield	+ 2 insert	Small, Standard, Standard with offset	$1,620.00

SN676	Genoid Components	Anatomic Glenoid Component, Ti-6A1-4V, UHMWPE	Extra Small & Standard	$2,220.00

Prostheses List by Category, Groups and Sponsor	Page 302 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

ST675	Osteonics Solar Shoulder Prostheses 	Glenoid component polyethylene	5,7,9,11	$2,365.00

HA or plasma coated,grit blast,cemented

Synthes Australia Pty Ltd

SY436	Epoca Custom Offset Shoulder Prosthesis	Epoca Reco Glenoid	42 - 52mm	$3,300.00

6.6.2.7 Shoulder, Glenoid component, Other

Smith & Nephew Surgical Pty Ltd

SN890	PROMOS Reverse Modular Shoulder System	Glenoid Bone Screw	6/20mm 6/25mm, 6/30mm,  6/35mm,  6/40mm	$250.00

6.6.2.8 Shoulder, reverse type, humeral shell or cup

Global Manufacturing Technology Pty Ltd

GM106	Lobe Lok Total Shoulder System	Humeral Socket Shell-Ti	small to large	$2,940.00

Global Orthopaedic Technology

GO152	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset	$2,940.00	Temporary approval. Review in November

2007 cycle.

Johnson & Johnson Medical Pty Ltd

JJ559	DELTA Xtend	Standard Humeral PE Cup	38 + 42;  3, 6, 9mm	$815.00

JJ560	DELTA Xtend	Retentive Humeral PE Cup	38 + 42; 6mm	$815.00

Smith & Nephew Surgical Pty Ltd

SN893	Promos Reverse Modular Shoulder System	Body	36/mm, 36/10mm, 36/15mm, 42/5, 42/10mm,	$1,800.00

42/15mm

Tornier Pty Ltd

TO045	Aequalis Reversed Shoulder - Lateralized Insertt	UMWHPE	D. 36mm +6mm, D.36mm +9mm, D.36mm 	$873.00

+12mm, D.42mm +6mm, D. 42mm +9mm,

D.42mm +12mm

Polyethylene

Johnson & Johnson Medical Pty Ltd

DP958	Delta Shoulder system	Humeral Cup Laterilised Polyethylene	36 - 42mm in +0 to +9/STD/LAT/STD 	$815.00

Retentive

Prostheses List by Category, Groups and Sponsor	Page 303 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.3 Shoulder, humeral component

Smith & Nephew Surgical Pty Ltd

SN888	PROMOS Reverse Modular Shoulder System	PE Insert - UHMWPE	36/6mm, 36/9mm, 36/12mm, 42/6mm, 	$800.00

42/9mm, 42/12mm

SN891	Promos Reverse Modular Shoulder System	Glenosphere	centric 36mm, centric 42mm, eccentric 	$1,200.00

36/+5mm, eccentric 42/+5mm

6.6.3.1 Shoulder, humeral component

Johnson & Johnson Medical Pty Ltd

JJ548	DELTA Xtend	Monobloc Humeral Cemented Epiphysis Standard	1 + 2  8, 10, 12, 14mm	$6,800.00

JJ554	DELTA Xtend	Delta Xtend CTA Head Dia 48 x 21mm	48 + 52; 21, 26mm	$5,520.00

Tornier Pty Ltd

TO002	Aequalis Primary Shoulder Prostheses	Includes Glenoid component, Humeral Stem & Screw + 	6.5-15mm - 1mm increm wide, 66-167mm 	$3,600.00

Humeral Head, Ti CoCr	long

TO044	Aequalis Reversed Shoulder - Stem (Cemented or 	Cemented: CoCr Cementless: Ti, HA coated	D. 6.5, 9 , 12, 15mm L 100, 150, 180, 210mm	$4,284.00

Cementless)

TO048	Aequalis Reversed fracture-standard	Monobloc Humeral Stem CoCr and HA Coated proximally	Length 130mm Dia 7 9 11 13 15	$6,800.00

6.6.3.1.1 Shoulder, humeral component, cemented

Biomet Australia Pty Ltd

BI343	Copeland Shoulder System	Humeral, Chrome Cobalt	Small, Std, Large (no specific size)	$2,330.00

BI882	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Stem - 6.5 to 14.5 mm x 50 to 200 mm	$3,000.00

Global Orthopaedic Technology

GO148	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm	$2,875.00	Temporary approval. Review in November

2007 cycle.

Prostheses List by Category, Groups and Sponsor	Page 304 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP966	Global FX Shoulder	Global FX Stem Chrome	6-12mm and STD and revision 160-220mm 	$3,969.00

length

DY273	Global FX Porocoat	FX PC Stem Standard / Long	6-12mm	$3,500.00	$4,298.00

JJ610	Global AP Shoulder	Humeral Stem	Humeral Stem 6mm, 8mm, 10mm, 12mm, 	$3,500.00

14mm, 16mm

Lima Orthopaedics Australia Pty Ltd

LC040	Randelli/SMR Total Shoulder	Randelli/SMR Neutral Taper	0 - 6mm	$950.00

LC041	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Body with Locking Screw	One size only	$2,580.00

LC042	Randelli/SMR Total Shoulder	Randelli SMR shoulder cemented stem	8, 10, 12, 14, 16mm	$2,900.00

Mathys Orthopaedics Pty Ltd

MA449	Affinis Total Shoulder Prosthesis	Stem - CoCr; Stem - Titanium; Glenoid - UHMWPE	Cemented 6, 9, 12, and 15mm;Cementless 6, 	$3,890.00

7.5, 9, 10.5, 12, 13.5 and 15mm

Stryker Australia Pty Ltd

ST674	Osteonics Solar Shoulder Prostheses 	Humeral stem polyethylene	3,5,7,9,11	$3,845.00

Tornier Pty Ltd

TO029	Aequalis Fracture Shoulder HA Coated	Fracture shoulder humeral stem Cobalt Chrome, HA 	Diam 6.5mm - 130mm and 170mm lengths, 	$4,000.00

coated	Diam 9mm - 130mm, 180mm and 210mm

lengths. Diam 12mm - 130mm, 180mm and

210mm lengths

cemented,long

Johnson & Johnson Medical Pty Ltd

DP029	Global Advantage Shoulder	Revision Stem Titanium alloy	8mm x 200mm - 14mm x 220mm	$4,965.00

long

Johnson & Johnson Medical Pty Ltd

JJ611	Global AP Shoulder	Humeral Stem Long	Humeral Stem Long - 8mm, 10mm, 12mm, 	$3,845.00

14mm

Revision,long

Johnson & Johnson Medical Pty Ltd

JJ549	DELTA Xtend	Monobloc Humeral Cemented Epiphysis Revision	1 + 2  8, 10, 12, 14mm	$7,750.00

Prostheses List by Category, Groups and Sponsor	Page 305 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.3.1.2 Shoulder, humeral component, uncemented

Biomet Australia Pty Ltd

BI345	Copeland Shoulder System	Humeral Component, Chrome Cobalt	Small, Std, Large (no specific size)	$3,200.00

Device Technologies Australia Pty Ltd

DE168	Univers 3D Shoulder Prostheses	Stem	6-12mm	$5,880.00

DE173	Univers Fracture Prostheses	Shaft	8-13mm	$6,220.00

Endotec Australia Pty Ltd

EA028	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Humeral-Stem w / PC-Ceramic coated titanium	8-14mm	$3,550.00	$4,200.00

System (Primary & Revision)

Johnson & Johnson Medical Pty Ltd

JJ612	Global AP Shoulder	Porocoat Coated Humeral Stem	Porocoat Coated Humeral Stem 6mm, 8mm, 	$3,500.00

10mm, 12mm, 14mm, 16mm

Lima Orthopaedics Australia Pty Ltd

LC043	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Uncemented Stem	11-24mm	$2,800.00

Revision

Johnson & Johnson Medical Pty Ltd

JJ563	DELTA Xtend	Revision Metaglene	.	$2,508.00

trabecular metal partial

Zimmer Pty Ltd

ZI528	Zimmer Trabecular Metal Reverse Shoulder System	Trabecular Metal Humeral Stem Titanium Alloy and Tantalum	12mm x 130mm; 12mm x 170mm; 14mm x 	$3,799.00	$5,000.00

130mm

tumour

Lima Orthopaedics Australia Pty Ltd

LC044	Lima RPS Tumor System	RPS Total Shoulder Replacement Stem	200, 240, 280mm	$6,900.00

uncemented

Johnson & Johnson Medical Pty Ltd

DP077	Global Advantage Shoulder	Global Advantage Stem STD or Long Chrome	Size 8 to 14 or Length 6-16mm	$3,845.00

uncemented,porous coating

Johnson & Johnson Medical Pty Ltd

DP030	Global Advantage Shoulder	Stem Standard, Titanium alloy	6mm - 16mm	$3,500.00	$4,300.00

Prostheses List by Category, Groups and Sponsor	Page 306 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.3.2 Shoulder, humeral component, modular

Device Technologies Australia Pty Ltd

DE256	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Trunnion	41 - 53mm	$3,200.00

DE258	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Cage Screw	Small - X-Large	$1,000.00

cemented

Smith & Nephew Surgical Pty Ltd

SN138	Neer 3 Total Shoulder System	Humeral stems	Head size 15 - 16, stem diam 8 - 12mm	$2,740.00

SN395	Cofield	Humeral stem component	Standard & Long, small- large	$2,740.00

SN404	Modular Cofield	Humeral Stem	6mmx115mm - 16mmx245mm	$3,070.00

SN669	Standard Humeral Components	Modular Shoulder System Humeral Head, Chromium 	11.25 - 25mm Height, 40 - 49.5mm Diameter	$1,080.00

Cobalt

Ceramicised coat

Endotec Australia Pty Ltd

EA033	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Modular Humeral Stem Ceramic coated titanium	12mm	$5,440.00

System (Primary & Revision)

EA034	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Modular Salvage Stem - Ceramic coated titanium	1-4	$4,000.00

System (Primary & Revision)

Revision

Biomet Australia Pty Ltd

BI881	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Segment - 80 to 140 mm	$4,500.00

6.6.3.2.1 Shoulder, humeral component, modular, proximal stem

Biomet Australia Pty Ltd

BI216	Bio-Modular Shoulder System	Humeral Stem, titanium	6-15mm	$3,500.00

BI880	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Proximal Body - Std to +20	$5,200.00

Endotec Australia Pty Ltd

EA030	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Salvage Humeral Stem-ceramic coated titanium	8-14mm	$4,200.00

System (Primary & Revision)

Global Orthopaedic Technology

GO141	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm	$2,800.00

Prostheses List by Category, Groups and Sponsor	Page 307 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM111	Promos Shoulder Replacement	Body	30 - 35 - 40mm	$2,500.00

Stryker Australia Pty Ltd

SK427	Solar Reunion Humeral Fracture System	Solar Reunion Humeral Fracture System	Short & Long	$6,100.00

Tornier Pty Ltd

TO043	Aequalis Reversed Shoulder -Metaphysis (Cemented or 	Cemented: CoCr and UMWHPE, Cementless: CoCr, HA 	D.36mm & 42mm	$2,609.00

Cementless)	Coated and UMWHPE

Zimmer Pty Ltd

ZI289	Bigliani Shoulder System	Cobalt Chrome	Lengths 130 - 200mm, Thickness 6 - 16mm	$3,026.00

ZI446	Intermedics Select Shoulder	Long Stem - Ti alloy	7 to 14.5mm	$3,550.00

cemented

ESKA Australia

EK028	ESKA Modular Shoulder System	Humeral Stem Universal	.	$2,295.00

Johnson & Johnson Medical Pty Ltd

DP957	Delta Shoulder system	Cemented Epiphysis INOX/ ST. Steel + Aluminia+HAC	Size 1-4 in 26-42mm	$2,436.00

cementless,trabecular metal

Zimmer Pty Ltd

ZI326	Bigliani/Flatow Trabecular Metal Humeral Shoulder	Porous Tantulum Humeral Stem	6mm-19mm diameter	$5,169.00

includes neck

Biomet Australia Pty Ltd

BI884	Comprehensive Fracture Stem	Fracture Stem Cobalt Chrome, Titanium	4,6,8,10,12,14mm	$3,969.00

uncemented

Johnson & Johnson Medical Pty Ltd

JJ551	DELTA Xtend	Modular Centered Epiphysis HA coated	1 + 2	$2,436.00

JJ552	DELTA Xtend	Modular Eccentric Epiphysis Size 1 Right HA coated	1 + 2 Left + Right	$2,482.00

Prostheses List by Category, Groups and Sponsor	Page 308 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.3.2.2 Shoulder, humeral component, modular, distal stem

Smith & Nephew Surgical Pty Ltd

SM110	Promos Shoulder Replacement	Humeral Stem	01, 0, 1, 2, 3, 4	$2,560.00

Synthes Australia Pty Ltd

SY430	Epoca Custom Offset Shoulder Prosthesis	Epoca Stem	6 - 14mm, Length: 115 - 215mm	$3,000.00

Revision

Johnson & Johnson Medical Pty Ltd

DP965	Delta Shoulder system	Revision Cementless Diaphysis INOX / ST. Steel + 	Size 1-4	$3,818.00

Aluminia+HAC

uncemented

Johnson & Johnson Medical Pty Ltd

DP956	Delta Shoulder system	Cementless Diaphysis INOX/ ST. Steel + Aluminia+HAC	Size 1-4	$3,875.00

JJ550	DELTA Xtend	Modular Humeral Diaphysis	10, 12, 14, 16mm	$4,000.00

Synthes Australia Pty Ltd

SY431	Epoca Custom Offset Shoulder Prosthesis	Epoca ZF Cementless Stem	6 - 14mm, Length: 115 - 135mm	$3,000.00

6.6.3.2.3 Shoulder, humeral component, modular, stem extension

ESKA Australia

EK071	ESKA Modular Shoulder System	Stem Extension	20mm - 40mm	$400.00

Ceramicised coat

Endotec Australia Pty Ltd

EA035	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Stem Extension -  Ceramic coated titanium	8-20mm	$1,300.00

System (Primary and Revision)

6.6.3.2.4 Shoulder, humeral component, stem cone

ESKA Australia

EK073	ESKA Modular Shoulder System	Humeral Component	20mm - 40mm	$2,920.00

Zimmer Pty Ltd

ZI443	Select Shoulder	Stem - Ti alloy	7mm Short to 14.5mm	$3,770.00

Prostheses List by Category, Groups and Sponsor	Page 309 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.3.2.5 Shoulder, humeral component, modular, neck only

Smith & Nephew Surgical Pty Ltd

SM112	Promos Shoulder Replacement	Inclination Set	20 - 22 - 24 - 26mm	$1,220.00

Ceramicised coat

Endotec Australia Pty Ltd

EA032	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Humeral Head Extension - Ceramic coated titanium	2.5 -10mm	$800.00

System (Primary & Revision)

reverse type

Tornier Pty Ltd

TO011	Aequalis Shoulder Prostheses Reverse	CoCr Reverse Humeral Neck	diameter 36 & 42mm wide x 9mm high	$1,827.00

6.6.4 Shoulder, humeral head

6.6.4.1 Shoulder, humeral head, primary, conventional

Johnson & Johnson Medical Pty Ltd

JJ613	Global AP Shoulder	Humeral Head	Humeral Heads - 40x15, 40x18, 44x15, 	$1,525.00

44x18, 44x21, 48x15, 48x18, 48x21, 52x15,

52x18, 52x21, 56x18, 56x21

Smith & Nephew Surgical Pty Ltd

SN410	Neer	Neer II Humeral	22 x 6.3-9.5mm, 33 x 12.7mm, 15 x 6.3-	$1,235.00

12.7mm

cemented

Smith & Nephew Surgical Pty Ltd

SN403	Modular Cofield	Humeral Head	14x36mm - 36x58mm	$1,500.00

Large

Biomet Australia Pty Ltd

BI835	Bio-Modular Shoulder System	Extended Articular Surface Humeral Head, CrCo	40 - 54mm	$1,950.00

Prostheses List by Category, Groups and Sponsor	Page 310 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.6.4.1.1 Shoulder, humeral head, primary, conventional, polished

Biomet Australia Pty Ltd

BI215	Bio-Modular Shoulder System	Humeral Head, Chrome Cobalt	40-54mm	$1,400.00

Device Technologies Australia Pty Ltd

DE171	Univers 3D Shoulder Prostheses	Metal Head	40/14 - 54/23	$1,130.00

DE174	Univers Fracture Prostheses	Metal head	43/15 - 51/22	$1,519.00

DE257	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Head	41/16 - 53/20	$1,525.00

Endotec Australia Pty Ltd

EA029	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Humeral Head-Ceramic coated titanium	44mm-52mm	$2,200.00

System (Primary & Revision)

Global Manufacturing Technology Pty Ltd

GM104	Lobe Lok Total Shoulder System	Lobe Lok Head 30mm CrCo	Small to Large	$2,875.00

Johnson & Johnson Medical Pty Ltd

DP081	Global Shoulder	Global Advantage HUM HD 	Size 40 - 56 by size 15 - 20	$1,525.00

JJ788	Global AP CTA Humeral Head	CTA Humeral Head	Sizes 44-56mm	$5,495.00

Lima Orthopaedics Australia Pty Ltd

LC045	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Head	42, 44, 46, 48, 50, 52, 54mm	$2,330.00

Mathys Orthopaedics Pty Ltd

MA448	Affinis Total Shoulder Prosthesis	Head - CoCr; Stem - Titanium; Glenoid - UHMWPE	Diameter 39, 41, 43, 45, 47, 49, 51, 53mm	$1,525.00

Synthes Australia Pty Ltd

SY432	Epoca Custom Offset Shoulder Prosthesis	Epoca Head	40 - 54mm, Height: 15 - 20.25mm	$1,525.00

Tornier Pty Ltd

TO003	Aequalis Primary Shoulder Prostheses	Humeral Head CoCr, includes the Glenoid component, 	Diameter: 37,39,41,43,46,48,50,52mm	$1,327.00

Humeral Stem & Screw + Humeral Head.

Zimmer Pty Ltd

ZI300	Bigliani Shoulder System	Bigliani-Flatow Shoulder - Heads (Cobalt chrome)	40, 46, 52, 52mm diameters	$843.00

ZI445	Intermedics Select Shoulder	UniPolar Head  -metal alloy	40 x 16mm to 56 x 32mm	$1,148.00

Prostheses List by Category, Groups and Sponsor	Page 311 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

eccentric

Biomet Australia Pty Ltd

BI222	Bio-Modular Shoulder System	Shoulder Offset Head, Chrome Cobalt	40-54mm	$2,330.00

Johnson & Johnson Medical Pty Ltd

DP020	Global Advantage Shoulder	Eccentric Head, Cobalt chrome alloy	44- 56mm x 18, 21mm	$1,825.00

JJ614	Global AP Shoulder	Humeral Head-Eccentric	Humeral Heads - 40x15, 40x18, 44x15, 	$1,825.00

44x18, 44x21, 48x15, 48x18, 48x21, 52x15,

52x18, 52x21, 56x18, 56x21

Smith & Nephew Surgical Pty Ltd

SM113	Promos Shoulder Replacement	Ball head anatomic	R19/H14-R26/H21	$2,750.00

Zimmer Pty Ltd

ZI441	Select Shoulder	Humeral Head Eccentric - CoCr alloy	44/19 to 56/32 	$1,747.00

large

Johnson & Johnson Medical Pty Ltd

DY129	Global Advantage CTA Head	44 x 18 - 56 x 23	$5,495.00

6.6.4.1.2 Shoulder, humeral head, primary, conventional, not highly polished

Global Orthopaedic Technology

GO142	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm	$2,800.00

Stryker Australia Pty Ltd

ST027	Solar - Dual Offset Humeral Head	Cobalt Chrome	40-50mm diameter, 15-21mm thickness	$2,330.00

ST672	Osteonics Solar Shoulder Prostheses 	Humeral head polyethylene	40-55mm by 12-34mm	$1,525.00

ST673	Osteonics Solar Shoulder Prostheses	Dual offset humeral head polyethylene	40,45,50mm Diameter by 15, 18, 21mm 	$1,356.00

Thickness

6.6.4.2 Shoulder, humeral head, primary, bipolar type

Stryker Australia Pty Ltd

ST877	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral  outer head, cobalt chromium	22mm with 0, +2 and +4mm neck lengths	$1,835.00

Prostheses List by Category, Groups and Sponsor	Page 312 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

cemented

Zimmer Pty Ltd

ZI444	BiPolar Head	Humeral Head used with Select Shoulder Humeral Stem - 	26/42 to 26/60	$1,401.00

CoCr alloy/ PE

uncemented

Biomet Australia Pty Ltd

BI209	Bi-Angular Shoulder System	Bi Polar Head, Chrome Cobalt	Std to +4mm	$1,300.00

BI214	Bio-Modular Shoulder System	Bi-Polar shell/ Titanium, chrome Cobalt	40-60mm	$1,660.00

6.6.4.3 Shoulder, humeral head, primary, resurfacing

Biomet Australia Pty Ltd

BI218	Bio-Modular Shoulder System	Modular Head, Chrome Cobalt	Std, +2, +4mm	$1,310.00

Endotec Australia Pty Ltd

EA027	Buechel-Pappas Ultracoat Total Shoulder Replacement 	Humeral Resurfacing Component-Ceramic coated Titanium	44mm-56mm	$4,800.00

System (Primary and Revision)

Global Manufacturing Technology Pty Ltd

GM101	Lobe Lok Total Shoulder System	Humeral ReSurf Cap - CrCo	Small to Large	$5,900.00

GM102	Lobe Lok Total Shoulder System	CTA Head	Small to Large	$3,230.00

Johnson & Johnson Medical Pty Ltd

DY416	Total Shoulder System	Global CAP Conserv Head PC, Global CAP Conserv 	40 x 15 to 56 x 21	$1,525.00	$6,065.00

Head HA

DY417	Total Shoulder System	Global CAP Conserv Head PC, Global CAP Conserv 	40 x 15 to 56 x 21	$1,525.00	$6,120.00

Head Porous Coated

JJ787	Global CAP Resurfacing Humeral Head Implant	Global CAP Conservative Anatomical Prosthesis (Shoulder	40-56mm Diameter	$4,800.00

Humeral Head Surface Replacement)

Prostheses List by Category, Groups and Sponsor	Page 313 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lifehealthcare Pty Ltd

LH306	HemiCAP Contoured Articular Resurfacing Shoulder 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 2.5mm x 	$4,035.00

System	2.5mm to 5.0mm x 5.0mm offset;  Articular

Component 30mm - 4.5mm x 4.5mm to

7.0mm x 7.0mm offset; Articular Component

35mm - 6.0mm x 6.0mm to 9.5mm x 9.5mm;

Articular Component 40mm - 8.0mm x

8.0mm to 12.0mm x 12.0mm

Synthes Australia Pty Ltd

SY438	Epoca Resurfacing Head	The humeral head surface replacement is designed to 	Diameter 40 - 54mm	$1,525.00	$3,000.00

replace the humeral articulating surface and is chrome

cobalt with hydroxyapatite coating underneath

6.6.4.4 Shoulder, humeral head, revision

tumour

Lima Orthopaedics Australia Pty Ltd

LC046	Lima RPS Tumor System	RPS Humeral Head	46, 52, 58mm	$3,680.00

6.6.5 Shoulder replacement, total

modular

Medical & Optical Instruments Australia Pty Ltd

MO147	Acumed Shoulder Joint Prostheses 	Titanium	130 to 280mm stem,13 to 15mm body, 16 to 	$6,800.00

23mm head.

6.7.1 Trauma and general accessories

6.7.1.3.1 End Cap

Austofix

AX029	Austofix Femoral & Tibial Nailing System	End Cap; I.M. Nails; s-s	8 - 13mm	$123.00

Biomet Australia Pty Ltd

BI251	SST Small Bone Locking Nail	Nail End Cap, titanium	low profile, one size only	$218.00

BI285	Femoral Interlocking Nail	Femoral Nail End Cap	10-11mm & 12-16mm	$55.00

Prostheses List by Category, Groups and Sponsor	Page 314 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI923	EBI Paediatric Locking Nail System	Nail end cap, titanium	5.5mm - 6.5mm	$150.00

Medical & Optical Instruments Australia Pty Ltd

MO200	Polarus Proximal Humeral Fixation System	End cap, titanium	Only size only	$45.00	$180.00

Smith & Nephew Surgical Pty Ltd

SN439	Ilizarov	Jurgan Pin Balls	0.7-5.0mm	$82.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

ST045	Stryker Trauma Locking Nail System: End Cap	Titanium	Standard, +5, +10, +15	$95.00

Surgical House

SU203	Panta Arthrodesis Nail	End Cap, Titanium	One Size	$45.00

Synthes Australia Pty Ltd

SY125	AO/ASIF Intermedullary Nails	End cap	0 - 40mm	$207.00

Zimmer Pty Ltd

ZI321	Intramedullary Nail Caps	Stainless Steel Intertrochanteric Nailing System	Diameter 0 - 20mm	$110.00

ZI526	SIRUS Nail	Sirus End Cap	5-25mm length in 5mm increments	$200.00

Cannulated,locking

Smith & Nephew Surgical Pty Ltd

SN498	Intermedullary Nailing System	Nail Cap	One size only	$79.00

locking, Titanium

Johnson & Johnson Medical Pty Ltd

JJ675	VersaNail IM Nailing Platform	End caps for VersaNail IM Nail Platform	Flush, impinging & 5-15mm	$150.00

titanium

Johnson & Johnson Medical Pty Ltd

DP331	Tibial Nail System 	End Cap Titanium 	One size only	$65.00

DP339	Femoral Nail	End Cap Titanium 	One size only	$45.00

DP366	Supacondylar Nail System	Solid End Cap Titanium Unsterile or Sterile	One size only	$57.00

DP371	Humeral Nail System	End Cap Various Titanium Unsterile or Sterile	One size only	$65.00

DY325	Ace Trochanteric Nail	Trochanteric End Cap Sterile	5 to 25mm	$161.00

DY382	Versa Nail	TTC Nail Cap Unsterile Impinging and Non Impinging	One Size	$45.00	$99.00

Prostheses List by Category, Groups and Sponsor	Page 315 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY383	Versa Nail	TTC Nail Cap Sterile Impinging and Non Impinging	One Size	$45.00	$150.00

6.7.1.3.2 Plug

Advanced Surgical Technologies

AD178	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm	$270.00

Link Orthopaedics  Australia

LO106	Intramedullary Plug	P/E Intramedullary Plug	12 to 20 mm	$120.00

Stryker Australia Pty Ltd

HW006	Stryker Cement Security System	PMMA Bone Plug	6 - 24mm	$268.00

SK248	Gamma LN	Proximal/Extension Plug - Titanium	0mm, +5mm, +10mm	$95.00

Tornier Pty Ltd

TO006	Bone Plug	UHMWPE - Cement Plug	24mm	$215.00

Zimmer Pty Ltd

ZI188	Zimmer Bone Cement Systems	Poly Medullary Plug - PMMA	8 - 23 mm	$120.00

ZI226	Zimmer Bone Plug	Allen Medullary Plug	8 - 23mm	$120.00

ZI343	GSB Cemented Elbow	GSB Humeral Medullary Plug - PE	One size only	$173.00

Screw Hole

Zimmer Pty Ltd

ZI451	Allofit screw hole plugs	Sterile, 7 per set	One size only	$52.00

6.7.1.4 Peg

Johnson & Johnson Medical Pty Ltd

JJ627	HI S3 Shoulder Fixation System	Peg, Standard Stainless Steel	4mm x 20mm - 65mm	$140.00	$254.00

JJ628	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 20mm - 65mm	$150.00	$265.00

JJ629	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 37.5mm	$160.00	$265.00

JJ630	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 40mm, 45, 47.5mm, 50mm, 52.5mm, 	$167.00	$265.00

55mm, 57.5mm, 60mm, 62.5mm, 65mm,

Prostheses List by Category, Groups and Sponsor	Page 316 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lifehealthcare Pty Ltd

LH421	SBi Precise SD Smooth Peg (Locking)	An anatomically contoured locking titanium plate and 	1.9mm Smooth Pegs, Locking 12-28mm	$93.00

titanium alloy screw/peg system intended for fixation of

distal radius fractures via open reduction

LMT Surgical Pty Ltd

LM041	Trimed Bearing Plate, Fixation Pegs	The fixation pegs are made of medical grade 316 stainless 	Pegs - 2.3 x 10-34mm Threaded or 	$140.00

steel	unthreaded pegs

Locking, CoCr

Johnson & Johnson Medical Pty Ltd

JJ783	ALPS Hand Fracture System - CoCr Pegs	Locking pegs & screws, threaded, partly threaded, CoCr	1.0 - 2.5mm x 4 - 40mm	$170.00

Titanium

Johnson & Johnson Medical Pty Ltd

JJ784	ALPS Hand Fracture System - Titanium Pegs	Pegs, threaded, partly threaded, titanium	1.0 - 2.5mm x 4 - 40mm	$107.00

titanium,locking

Johnson & Johnson Medical Pty Ltd

JJ622	Distal Radius Fracture Repair System	Locking peg, threaded, partly threaded, smooth, 	2.5mm x 14-30mm	$125.00

titanium/cobalt chrome

6.7.1.5 Sleeve

Synthes Australia Pty Ltd

SY124	AO/ASIF Intermedullary Nails	Proximal sleeve	Standard 130 deg antigrade, spiral blade	$361.00

6.7.1.6 Sheath

Global Manufacturing Technology Pty Ltd

GM111	OsteoBridge	OsteoBridge Spacer	20mm, 25mm & 30mm	$6,571.00

6.7.1.7 Washer

Austofix

AX027	Austofix Femoral & Tibial Nailing System	Washer for screws; s-s	Dia 11mm & 13mm	$110.00

Prostheses List by Category, Groups and Sponsor	Page 317 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Darco Australia

DC007	Ring washer	For use with 3.5mm Cannulated screw	-	$45.00

Johnson & Johnson Medical Pty Ltd

DP759	Small / Large Fragment Set S/S	Washer Spiked, Standard, Cancellous, Cortical & 	One size only	$14.00

Fastening Wire

DP836	Peak Channelled Plate System	Channel Plate Locking Washer	9 x 13mm	$162.00

DP895	Rockwood Shoulder Screw	Rockwood Shoulder washer  S/S	One size only	$46.00

DP897	AC Percu Screw	AC Percu Screw Washer S/S	One size only	$47.00

LMT Surgical Pty Ltd

LM001	TriMed Wrist Fixation System	Washer	.	$115.00

LM066	TriMed Olecranon Sled	Washer	one size	$200.00

Medical & Optical Instruments Australia Pty Ltd

MO158	Polarus Humeral Rod System	Polarus Washer	3.5mm	$20.00

Smith & Nephew Surgical Pty Ltd

SN449	Washer	For Cannulated screw systems, Stainless Steel 	One size only	$32.00

SN450	Washer	For Cannulated screw systems, Titanium	One size only	$49.00

SN626	TC 100 Washers	Stainless Steel	7-13mm	$14.00

SN777	GTS Sleeve	Polypropylene non-absorbable woven mesh	one size only	$270.00

Stryker Australia Pty Ltd

HW298	Asnis Guided Screw System	Washer, Stainless Steel	One size only	$39.00

HW299	Asnis Guided Screw System	Washer -  Titanium	4, 5, 6.5,8mm	$46.00

SK201	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Proximal Humerous Washer round/square	$52.00

ST040	Stryker Plating System - Washers & Nuts	Stainless Steel or Titanium	Nuts 5.0 or 4.5mm thickness; Washers 7 - 	$18.00

13mm diameter

Synthes Australia Pty Ltd

SY092	AO/ASIF K-Wires, Pins, Washers etc.	Washers/nuts	1.0mm - 16mm dia	$103.00

Zimmer Pty Ltd

ZI210	Zimmer Large-Frag System	Washer/Spiked washer	Small & Large	$43.00

ZI345	GSB Cemented Elbow	GSB Washer - PE	2/12,4/12,6/12,2/16,4/16,6/16 	$138.00

Prostheses List by Category, Groups and Sponsor	Page 318 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Soft tissue

Johnson & Johnson Medical Pty Ltd

JJ081	Mitek Soft Tissue Washer	Titanium washer	14mm, 17mm & 20mm	$240.00

Spiked,Soft tissue

ConMed Linvatec Australia Pty Ltd

LV011	Soft Tissue Anchoring Implant - Spiked Washer	Soft Tissue Re-attachment - Titanium	1.3 x 14mm -  2.5 x 20mm	$335.00

Smith & Nephew Surgical Pty Ltd

SN424	ACL/PCL Reconstructions	Acufex Spiked Washer	One size only	$162.00

titanium

Johnson & Johnson Medical Pty Ltd

DP646	Small / Large  Fragment Set	Washer Titanium - Flat/Cup/Countersink	One size only	$23.00

DP917	Periarticular Plating System	Periarticular Spider Washer - Titanium	One size only	$193.00

JJ719	ALPS SFS	Flat and cupped Titanium washers	Flat and cupped	$85.00

JJ728	ALPS LFS	Flat and cupped Titanium washers	4.5-6.5mm	$85.00

Smith & Nephew Surgical Pty Ltd

SN627	TC 100 Washers	Titanium Non Sterile	4.5mm -13mm	$23.00

SN628	TC 100 Washers	Titanium Sterile	4.5mm -13mm	$47.00

6.7.2 External Fixator

Johnson & Johnson Medical Pty Ltd

DY270	Ace External Fixator	External fixator, aluminium	One size only	$1,030.00	Temporary approval pending review of product

group in Feb 09 cycle.

LMA PacMed Pty Ltd

PM100	Orthopaedic External Fixation System - Xcaliber 	Hybrid Fixator	One size only	$2,159.00	Temporary approval pending review of product

External Fixator	 group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY234	Orthopaedic External Fixator Systems	External fixator clamp components, angulator	3mm	$2,564.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 319 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI484	Wristore	Disposable External Fixation device for the treatment of 	Wristore Pack	$998.00	Temporary approval pending review of product

distal radial fractures.	 group in Feb 09 cycle.

6.7.2.1.1 External Fixator, bar

Biomet Australia Pty Ltd

BI832	EBI XFIX Vision System	Rods, Bars, stainless steel/aluminium/carbon fibre	Dia 9.5mm, 150-400mm length	$185.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY193	Orthopaedic External Fixator Systems	Rod / Bar	2.0mm-15.0mm dia 20.0mm-445mm L	$144.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY196	Orthopaedic External Fixator Systems	Rod/Bar	450mm length - 650mm Length	$148.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY240	Orthopaedic External Fixator Systems	External fixator clamp components, bar for lower jaw for 	1.25-6.0mm	$97.00	Temporary approval pending review of product

children	 group in Feb 09 cycle.

SY242	Orthopaedic External Fixator Systems	External fixator clamp components, bar for upper jaw	1.25-6.0mm	$700.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.1.2 External Fixator, bolt

Cannulated

Johnson & Johnson Medical Pty Ltd

DY267	Ace External Fixator	Wire fixation bolt, cannulated or slotted (stainless steel)	One size only	$188.00	Temporary approval pending review of product

group in Feb 09 cycle.

titanium

Johnson & Johnson Medical Pty Ltd

DP391	Ace External Fixator	Pin Holder Bolt - Titanium	All sizes	$47.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY253	Ace External Fixator	Bolt clevis, titanium	One size only	$29.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY259	Ace External Fixator	Ring adapter bolt, titanium	One size only	$47.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 320 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.1.3 External Fixator, end cap

Johnson & Johnson Medical Pty Ltd

DY245	Ace External Fixator	TIP CapS, polyethylene	5mm	$6.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY195	Orthopaedic External Fixator Systems	Protective caps for rods, protection caps	One size only	$10.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.1.4 External Fixator, nut

Johnson & Johnson Medical Pty Ltd

DY257	Ace External Fixator	Nut, stainless steel	One size only	$81.00	Temporary approval pending review of product

group in Feb 09 cycle.

titanium

Johnson & Johnson Medical Pty Ltd

DY256	Ace External Fixator	Locking nut, titanium	One size only	$36.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY262	Ace External Fixator	Spherical nut and washer, titanium	One size only	$214.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.1.5 External Fixator, sleeve

Synthes Australia Pty Ltd

SY246	Orthopaedic External Fixator Systems	External fixator clamp components, sliding carriage	1.25-6.0mm	$824.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.1.6 External Fixator, spacer

Synthes Australia Pty Ltd

SY237	Orthopaedic External Fixator Systems	3 degree, 6 degree, 11 degree. Medium, Large	1.25-6.0mm	$227.00	Temporary approval pending review of product

group in Feb 09 cycle.

titanium

Johnson & Johnson Medical Pty Ltd

DY236	Ace External Fixator	Spacer with bolt, titanium	2.5-5mm	$22.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 321 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.1.7 External Fixator, pin

Stryker Australia Pty Ltd

ST886	Howmedica Dynamic Joint Distractor	Pin Stop Collar - Stainless Steel	One size only	$190.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.2.1 External Fixator, Ring adaptor

Johnson & Johnson Medical Pty Ltd

DY249	Ace External Fixator	Pin holder adaptor, aluminium	90"	$311.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY271	Ace External Fixator	Ring adaptor, titanium	One size only	$209.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

ST953	Monotube External Fixation System	Anodized metal alloy, T-Adapter yellow, blue, red	15, 20, 25mm	$580.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.2.2 External Fixator, coupling

Stryker Australia Pty Ltd

SK020	Hoffmann II	Hoffmann II Mini- Articulating Coupling	3x3, 2x3	$595.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK206	Stryker External Fixation System	Hoffmann II Micro	Couplings, Rod to rod, Pin to Rod and Multipin	$645.00

SK375	Hoffman II External Fixation System	Hoffman II MRI Coupling	Pin to Rod, Rod to Rod, Tube to Rod, Pin 	$770.00	Temporary approval pending review of product

Clamp Assembly	 group in Feb 09 cycle.

ST935	Hoffman II External Fixation System	Anodised metal alloy, rod to rod coupling	8/8mm	$655.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST936	Hoffman II External Fixation System	Anodised metal alloy, pin to rod coupling	8/4, 5mm	$655.00	Temporary approval pending review of product

group in Feb 09 cycle.

Zimmer Pty Ltd

ZI606	Trans Fx LITE	MRI Universal Clamp	One size only	$695.00	Temporary Listing - Feb 2009

Prostheses List by Category, Groups and Sponsor	Page 322 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.2.3 External Fixator, ring connector

Johnson & Johnson Medical Pty Ltd

DY260	Ace External Fixator	Ring connector, titanium	One size only	$199.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY202	Orthopaedic External Fixator Systems	External fixator clamps, clamp for hybrid	1.8-11mm Diameter	$1,114.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.3.1 External Fixator, Clamp Assembly

Biomet Australia Pty Ltd

BI828	EBI XFIX Vision System	Clamp/Rod, stainless steel/aluminium	4mm/6mm, 3-5 hole, 50-150mm	$1,175.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI830	EBI XFIX Vision System	Ring Connector Assembly, stainless steel/aluminium	1 or 2 bolt model	$1,450.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI851	EBI XFIX Dynafix System	Clamp (Straight, Transport, Rotational T-clamp, Adaptor, 	Ex Small, Small, Adult, 4-6mm	$1,662.00	Temporary approval pending review of product

Lenghtener, Shim, Single)	 group in Feb 09 cycle.

BI852	EBI XFIX Dynafix System	Clamp (Rotational Serrated T-clamp, Swivel, Translational,	Ex Small, Small, Adult, 4-6mm	$3,348.00	Temporary approval pending review of product

Uniplaner, CD)	 group in Feb 09 cycle.

Johnson & Johnson Medical Pty Ltd

DY251	Ace External Fixator	Anchor assembly, titanium	One size only	$308.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY252	Ace External Fixator	Articulation, titanium	One size only	$904.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY264	Ace External Fixator	Universal joint, titanium	One size only	$360.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY266	Ace External Fixator	Wire bolt hinge, titanium	One size only	$435.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

SK018	Hoffmann II	Hoffmann II Mini- Simple Swivel Clamp	One size only	$680.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK021	Hoffmann II	Hoffmann II Mini- Adjustable Swivel Clamp	One size only	$1,275.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 323 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST892	Hoffmann II Compact External Fixation System	Pin clamp assembly with no post	One Size Only	$695.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST951	Monotube External Fixation System	Anodized metal alloy, pin clamp yellow, blue, red	15, 20, 25mm	$1,215.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST952	Monotube External Fixation System	Anodized metal alloy, single pin clamp yellow, blue, red	15, 20, 25mm	$1,215.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST954	Monotube External Fixation System	Anodized metal alloy, tube to tube clamp yellow, blue, red, 	15, 20, 25mm, 15/20mm, 20/25mm	$645.00	Temporary approval pending review of product

yellow/blue, blue/red	 group in Feb 09 cycle.

ST966	TenXor External Fixation System	Anodized metal alloy, ring clamp	One size only	$645.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST968	TenXor External Fixation System	Anodized metal alloy, ring to monotube triax tube clamp	One size only	$1,215.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST972	TenXor External Fixation System	Anodized metal alloy,with sliding clamp and spacer	One size only	$645.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY199	Orthopaedic External Fixator Systems	External fixator clamps, double clamp	4-6mm Diameter	$510.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY203	Orthopaedic External Fixator Systems	External fixator clamps, tube to tube/universal clamp	11mm Diameter	$769.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY205	Orthopaedic External Fixator Systems	External fixator clamps, connecting clamp	3-4mm Diameter	$328.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY206	Orthopaedic External Fixator Systems	External fixator clamps, adjustable clamp	4.0mm	$1,390.00	Temporary approval pending review of product

group in Feb 09 cycle.

adjustable

Synthes Australia Pty Ltd

SY201	Orthopaedic External Fixator Systems	External fixator clamps, clamp or open clamp	1.25-8.0mm Diameter	$567.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY204	Orthopaedic External Fixator Systems	External fixator clamps, open/clip on clamp	4-6mm Diameter	$479.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY239	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece with nut	1.25-8.0mm	$536.00	Temporary approval pending review of product

group in Feb 09 cycle.

adjustable,double

Synthes Australia Pty Ltd

SY200	Orthopaedic External Fixator Systems	External fixator clamps, transverse clamp	4-6mm Diameter	$1,077.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 324 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Double

Stryker Australia Pty Ltd

ST955	Monotube External Fixation System	Anodized metal alloy, hybrid clamp blue, hybrid clamp red	One size only	$1,215.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY247	Orthopaedic External Fixator Systems	External fixator clamp components, double joint	1.25-6.0mm	$1,721.00	Temporary approval pending review of product

group in Feb 09 cycle.

Partial

Synthes Australia Pty Ltd

SY230	Orthopaedic External Fixator Systems	External fixator clamp components, intermediate piece	1.25-6.0mm	$361.00	Temporary approval pending review of product

group in Feb 09 cycle.

SY233	Orthopaedic External Fixator Systems	External fixator clamp components, angle	3mm	$93.00	Temporary approval pending review of product

group in Feb 09 cycle.

Pelvis

Stryker Australia Pty Ltd

SK373	Hoffman II External Fixation system	Hoffman II MRI	Pelvic Clamp	$1,135.00	Temporary approval pending review of product

group in Feb 09 cycle.

unique pin-less clamps

Synthes Australia Pty Ltd

SY091	AO/ASIF k-Wires, Pins, Washers etc	Pinless pins/clips	Asymetric small and large	$767.00

6.7.2.3.2 External Fixator, vise

Stryker Australia Pty Ltd

SK017	Hoffmann II	Hoffmann II Mini- 3 Hole Vise	One size only	$210.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK019	Hoffmann II	Hoffmann II Mini- Insulated Smooth Vise	One size only	$186.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.3.3 External Fixator, vise plate

Double

Synthes Australia Pty Ltd

SY228	Orthopaedic External Fixator Systems	External fixator clamp components, vice/connecting plate	1.25-8.0mm	$403.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 325 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.4.1 External Fixator, Connecting Rod

curved

Stryker Australia Pty Ltd

ST942	Hoffman II External Fixation System	Anodised metal alloy, curved aluminium rod semi-circular	Small, Medium, Large	$90.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.4.1.1 External Fixator, Connecting Rod, small

Stryker Australia Pty Ltd

SK211	Hoffmann II External Fixation System	Hoffmann II Micro	Carbon rods 3mm (30-120mm)	$68.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK212	Hoffmann II External Fixation System	Hoffmann II Micro	Stainless steel rods 3mm x (30-120mm)	$52.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY238	Orthopaedic External Fixator Systems	External fixator clamp components, connecting tube	1.25-6.0mm	$52.00	Temporary approval pending review of product

group in Feb 09 cycle.

titanium

Johnson & Johnson Medical Pty Ltd

DY228	Ace External Fixator	Threaded Rod, titanium	1/4" x 10cm	$123.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.4.1.2 External Fixator, Connecting Rod, Medium

titanium

Johnson & Johnson Medical Pty Ltd

DY229	Ace External Fixator	Threaded Rod, titanium	1/4" x 15cm	$164.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY230	Ace External Fixator	Threaded Rod, titanium	1/4" x 20cm	$210.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY268	Ace External Fixator	Connecting rod, aluminium	X-Short, short, medium or long	$690.00	$1,062.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.4.1.3 External Fixator, Connecting Rod, Large

Biomet Australia Pty Ltd

BI827	EBI XFIX Vision System	Rod Clamps/Connector, stainless steel/aluminium	Dia 9.5mm	$2,300.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 326 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY248	Ace External Fixator	Adaptor rod, titanium	8mm	$180.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

SK393	Hoffman II External Fixation System	Hoffman II MRI	8mm Connecting rod (100mm - 500mm), 	$155.00	Temporary approval pending review of product

5mm Connecting rod (100mm - 500mm), 	 group in Feb 09 cycle.

Semi Circular Curve Rod

ST939	Hoffman II External Fixation System	Anodised metal alloy, aluminium connecting rod	8mm x 65-500mm	$52.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST940	Hoffman II External Fixation System	Anodised metal alloy, carbon connecting rod	8mm x 65-500mm	$69.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST962	Monotube External Fixation System	Carbon tube yellow 015	150, 200, 250, 300mm	$220.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST963	Monotube External Fixation System	Carbon tube blue 015	150, 200, 250, 300mm	$330.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST964	Monotube External Fixation System	Carbon tube red 015	150, 200, 250, 300mm	$420.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST971	TenXor External Fixation System	Anodized metal alloy, with sliding clamp	One size only	$250.00	Temporary approval pending review of product

group in Feb 09 cycle.

adjustable

Stryker Australia Pty Ltd

ST943	Hoffman II External Fixation System	Anodised metal alloy, adjustable connecting rod	Long, short	$765.00	Temporary approval pending review of product

group in Feb 09 cycle.

carbon fibre

Smith & Nephew Surgical Pty Ltd

SN708	Jet X Bar	External Fixation Bar with Cap	100mm to 600mm	$4,750.00	Temporary approval pending review of product

group in Feb 09 cycle.

curved

Synthes Australia Pty Ltd

SY194	Orthopaedic External Fixator Systems	Curved and straight rod - carbon fibre	4mm - 11mm	$1,353.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 327 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

threaded

Synthes Australia Pty Ltd

SY207	Orthopaedic External Fixator Systems	External fixator clamp components, threaded rod, MRI Safe	8 - 14mm diameter	$221.00	Temporary approval pending review of product

group in Feb 09 cycle.

titanium

Johnson & Johnson Medical Pty Ltd

DY231	Ace External Fixator	Threaded Rod, titanium	1/4" x 25cm	$258.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.4.3 External Fixator, Distraction Rod

Biomet Australia Pty Ltd

BI854	EBI XFIX Dynafix System	Rail Accessory (Adaptor, CD Support, Dynamization, 	Ex Small, Small, Adult, 4-6mm	$1,020.00	Temporary approval pending review of product

Bridge)	 group in Feb 09 cycle.

6.7.2.5 External Fixator, Screws and pins

Synthes Australia Pty Ltd

SY090	AO/ASIF K-Wires, Pins, Washers etc - Steel	Steinmann pins/schanz screws	2.5 - 5.0, length 60mm - 300mm	$89.00

6.7.2.5.1 External Fixator, Set Screw

Johnson & Johnson Medical Pty Ltd

DY244	Ace External Fixator	GRUB screw ACE/FISCHER, titanium	5mm	$2.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.5.2 External Fixator, Bone Screw

Biomet Australia Pty Ltd

BI262	EBI XFIX Dynafix System	Bone Screw, Cortical, tapered, Cancellous, Stainless Steel	2.4mm to 6.00mm diameter	$110.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI829	EBI XFIX Vision System	Screw, Transfixing, Stainless steel	4 - 6mm diameter	$410.00	Temporary approval pending review of product

group in Feb 09 cycle.

LMA PacMed Pty Ltd

PM095	Orthopaedic External Fixation System	Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 	$115.00	Temporary approval pending review of product

2.0mm, Total Length 40 - 260mm, Thread 	 group in Feb 09 cycle.

Length 15 - 100mm

Prostheses List by Category, Groups and Sponsor	Page 328 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PM097	Orthopaedic External Fixation System	Osteotite Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 	$149.00	Temporary approval pending review of product

2.0mm, Total Length 40 - 260mm, Thread 	 group in Feb 09 cycle.

Length 15 - 90mm

Synthes Australia Pty Ltd

SY051	AO/ASIF K-Wires, Pins, Washers	Seldrill	4.0/3.0mm & 4.0 - 6mm / 80 - 250mm L	$110.00

6.7.2.5.3 External Fixator, Bone Fixation Pin

Johnson & Johnson Medical Pty Ltd

DY242	Ace External Fixator	Stainless steel transfix pin	250/300 x 5mm with 40-70mm thread	$263.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY258	Ace External Fixator	Position pins I/C foot plate, titanium	One size only	$105.00	Temporary approval pending review of product

group in Feb 09 cycle.

Smith & Nephew Surgical Pty Ltd

SN434	Half Pin	Arrow	4-6mm x 20-80mm	$205.00	Temporary approval pending review of product

group in Feb 09 cycle.

SN435	Half Pins	Hex Fix Titanium	4-6mm x 20-80mm	$115.00	Temporary approval pending review of product

group in Feb 09 cycle.

SN436	Half Pins	Ilizarov Stainless Steel	4 x 120 -180mm 30mm 35mm - thread   	$247.00	Temporary approval pending review of product

50mm conic	 group in Feb 09 cycle.

SN437	Hex Fix Pins	Cancellous Crane Pin Threaded	5/8" - 1 1/4"	$133.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

SK014	Hoffmann II	Hoffmann II Mini- Linking Pivot for 2mm & 3mm pins	One size only	$186.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST884	Apex Pins	Stainless Steel Orthopaedic Pins	2 - 6mm	$135.00	Temporary approval pending review of product

group in Feb 09 cycle.

Peg

Johnson & Johnson Medical Pty Ltd

DY246	Ace External Fixator	Peg, titanium	5mm	$81.00	Temporary approval pending review of product

group in Feb 09 cycle.

skull Immobilisation

Johnson & Johnson Medical Pty Ltd

DY295	Bremer Halo Crown System	Titanium Skull Pins	Standard & Hi-Fix	$451.00

Prostheses List by Category, Groups and Sponsor	Page 329 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

titanium

Johnson & Johnson Medical Pty Ltd

DY234	Ace External Fixator	Titanium half pin thread	15-80mm, 155 x 5mm to 220 x 5mm	$117.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY243	Ace External Fixator	Titanium Transfix Pin	250/300 x 5mm with 40-70mm thread	$167.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.5.4 External Fixator, Steinmann pin

Advanced Surgical Design & Manufacture Ltd

AE070	ASDM Steinmann Pin	Steinmann Pin	2.8-5.0mm diameter	$33.00

Johnson & Johnson Medical Pty Ltd

DP814	Small / Large Fragment Set S/S	Threaded Steinmann Pin	0.5-3mm	$30.00

Smith & Nephew Surgical Pty Ltd

SN445	Steinmann Pins	Skeletal Traction Pin-Cove Point	150-200mm	$73.00

SN446	Steinmann Pins	Skeletal Traction Pin-Cove Point	250mm+	$121.00

SN447	Steinmann Pins	Non Threaded, Various Tips	9"x5/64 - 9"x3/16	$25.00

Stryker Australia Pty Ltd

ST890	Steinmann Pins	Stainless Steel	7,9"	$90.00

Trewavis Surgical Instruments Pty Ltd

TS002	Trewavis Surgical Steinmann Pins	Composition:  Stainless Steel, Model Nos: 200 - 950-L to 	Dia 3.0 - 5.0mm	$55.00

200-970-Q

6.7.2.5.5 External Fixator, Pin Holder

Stryker Australia Pty Ltd

SK015	Hoffmann II	Hoffmann II Mini- Shank Straight Pin Holder - for 1.5mm 	2, 3 mm	$225.00	Temporary approval pending review of product

& 2.0mm pins	 group in Feb 09 cycle.

SK016	Hoffmann II	Hoffmann II Mini- Shank 'T' Offset Pin Holder - for 1.5mm	2mm	$305.00	Temporary approval pending review of product

& 2.0mm pins	 group in Feb 09 cycle.

SK045	Hoffmann II	Hoffmann II Mini- Shank Offset Pin Holder - for 1.5mm & 	2, 3mm	$247.00	Temporary approval pending review of product

2.0mm pins	 group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 330 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.5.6 External Fixator, Post

Stryker Australia Pty Ltd

HW328	Howmedica Dynamic Joint Distractor	Complete Straight Body Frame -  Stainless Steel	One size only	$4,070.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK009	Hoffmann II External Fixation System	Hoffman II Miami Post	One size only	$510.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK374	Hoffman II External Fixation System	Hoffman II MRI	Posts 8mm and 5mm	$111.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST937	Hoffman II External Fixation System	Anodised metal alloy, 30 deg angled post, stainless steel	One size only	$99.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST938	Hoffman II External Fixation System	Anodised metal alloy, straight post, stainless steel	One size only	$99.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST967	TenXor External Fixation System	Anodized metal alloy, wire post, pin post	One size only	$595.00	Temporary approval pending review of product

group in Feb 09 cycle.

Telescoping

Biomet Australia Pty Ltd

BI831	EBI XFIX Vision System	Post, Bone Screw, Telescoping, stainless steel	One size only	$850.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.6 External Fixator, wire

Johnson & Johnson Medical Pty Ltd

DY263	Ace External Fixator	U rings, aluminium	One size only	$736.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.6.1 External Fixator, Olive wire

Biomet Australia Pty Ltd

BI271	EBI XFIX Dynafix System	Wire Straight or Olive with Washer, Chrome Cobalt	160 or 200mm x (1.6 or 2.0mm)	$150.00	Temporary approval pending review of product

group in Feb 09 cycle.

Johnson & Johnson Medical Pty Ltd

DY218	Ace External Fixator	Olive wire - stainless steel	1.5-1.8mm	$856.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY219	Ace External Fixator	Wire bayonet point - titanium	1.5mm	$82.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 331 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY221	Ace External Fixator	Wire bayonet point - stainless steel	1.8mm	$41.00	Temporary approval pending review of product

group in Feb 09 cycle.

Smith & Nephew Surgical Pty Ltd

SN440	Ilizarov	Wires	300-370 length x 1-1.8mm diameter	$69.00	Temporary approval pending review of product

group in Feb 09 cycle.

SN441	Ilizarov	Wires with stopper	300-370 length x 1-1.8mm diameter	$155.00	Temporary approval pending review of product

group in Feb 09 cycle.

packet of 3

Johnson & Johnson Medical Pty Ltd

DY220	Ace External Fixator	Olive wire bayonet point - stainless steel, packet of 3	1.5 or 1.8mm	$260.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.6.2 External Fixator, Wire holder

Stryker Australia Pty Ltd

ST970	TenXor External Fixation System	Anodized metal alloy, Monticelli Spinelli kirschner wire 	One size only	$330.00	Temporary approval pending review of product

holder	 group in Feb 09 cycle.

6.7.2.6.3 External Fixator, K-Wire

Stryker Australia Pty Ltd

SK117	Leibinger Screws 	Tenxor Kirschner Wires	1.5 - 2.0mm Diameter	$125.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

SK213	Hoffmann II External Fixation System	Hoffmann II Micro	K-wire	$127.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.7 External Fixator, frame

Biomet Australia Pty Ltd

BI856	EBI XFIX Dynafix System	Rail (Carbon Fiber)	100-420mm	$2,950.00	Temporary approval pending review of product

group in Feb 09 cycle.

Johnson & Johnson Medical Pty Ltd

DY223	Ace External Fixator	Ring, aluminium	1/3 ring small 6" diameter	$376.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY225	Ace External Fixator	Ring, composite	1/3 ring large	$446.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 332 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY226	Ace External Fixator	Ring, composite	1/3 ring medium	$423.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY227	Ace External Fixator	Ring, composite	1/3 ring small	$394.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY237	Ace External Fixator	Ring, aluminium	2/3 ring, Medium - Large	$908.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY238	Ace External Fixator	Ring, composite	2/3 ring, medium - Large	$908.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY240	Ace External Fixator	Ring, aluminium	2/3 ring, small 6" diameter	$411.00	Temporary approval pending review of product

group in Feb 09 cycle.

DY241	Ace External Fixator	Ring, composite	2/3 ring, small	$463.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

ST885	Howmedica Dynamic Joint Distractor	Y Body Assembly - Stainless Steel	One size only	$1,240.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST888	Howmedica Dynamic Joint Distractor	Complete Y Body Frame - Stainless Steel	One size only	$4,070.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST889	Howmedica Dynamic Joint Distractor	Straight Body Assembly - Stainless Steel	One size only	$1,025.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST965	TenXor External Fixation System	Anodized metal alloy, open ring	150, 180, 210, 250mm	$1,105.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY197	Orthopaedic External Fixator Systems	Hybrid Rings	11mm diameter 1/4 ring - 205mm diameter 	$721.00	Temporary approval pending review of product

full ring	 group in Feb 09 cycle.

Halo

Synthes Australia Pty Ltd

SY236	Orthopaedic External Fixator Systems	External fixator clamp components, halo with visor	1.25-6.0mm	$1,545.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.8 External Fixator, total system

Smith & Nephew Surgical Pty Ltd

SN146	Taylor Spatial Frame	Pre-assembled circular external fixator, carbon-fibre rings, 	One size only	$9,925.00	Temporary approval pending review of product

telescopic rods	 group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 333 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

adjustable

Smith & Nephew Surgical Pty Ltd

SN031	Original Ilazarov System	External circular fixation system, stainless steel and 	Adult and Paediatric	$10,165.00	Temporary approval pending review of product

composite carbon fibre	 group in Feb 09 cycle.

SN032	Compass Universal Hinge	Circular external hinged fixator, graphite composite	One size only	$8,530.00

adjustable, kit

Smith & Nephew Surgical Pty Ltd

SN661	Compass PIP	Kit assembly includes 0.45 x 5" K Wires, 1 Small Pin 	Single sterile PIP Hinge Kit	$955.00

Support Block, 1 Hexdriver, 1 Compass PIP (Packed

Sterile)

6.7.2.8.1 External Fixator, total system, Lower limb

LMA PacMed Pty Ltd

PM012	Orthofix External Fixation System Ankle Fixator	Anodised aluminium and stainless steel	One size only	$4,607.00	Temporary approval pending review of product

group in Feb 09 cycle.

PM099	Orthopaedic External Fixation System - Xcaliber 	Articulated Ankle Fixator	One size only	$3,139.00	Temporary approval pending review of product

External Fixator	 group in Feb 09 cycle.

Smith & Nephew Surgical Pty Ltd

SN709	Jet X Central	Modular Versitile Ankle Fixation Frame	99mm to 158mm	$4,500.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.8.1.2 External Fixator, total system, Knee

LMA PacMed Pty Ltd

PM063	Orthofix External Fixation System Knee Fixator	Anodised aluminium and stainless steel	One size only	$5,955.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.8.1.3 External Fixator, total system, Tibia

Stryker Australia Pty Ltd

SK364	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Tibia Kit	$4,895.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK365	Hoffman II External Fixation System	Hoffman II Sterile Pre-packs	Sterile Ankle Kit	$4,700.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 334 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI604	Trans Fx LITE	MRI Knee Spanning Implant Kit	Large	$4,895.00	$5,140.00	Temporary Listing - Feb 2009

6.7.2.8.2 External Fixator, total system, Cerviical Immobilisation

Johnson & Johnson Medical Pty Ltd

DY294	Bremer Halo Crown System	Aluminium Crown & Vest	Standard & 3D	$3,035.00

6.7.2.8.3 External Fixator, total system, Elbow

LMA PacMed Pty Ltd

PM061	Orthofix External Fixation System Elbow Fixator	Anodised aluminium and stainless steel	One size only	$5,440.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY224	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece	1.25-11.0mm	$1,167.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.8.4 External Fixator, total system, Finger

Biomet Australia Pty Ltd

BI777	EBI XFIX DynaFix System	Mini fixator/lengthener with comp/dist	Small, Medium, Long, 100mm, 150mm	$2,413.00	Temporary approval pending review of product

group in Feb 09 cycle.

Lifehealthcare Pty Ltd

LH327	MiniFix	Finger Mini Fixator System	One size	$3,328.00

LH342	MicroFix	Finger Mini Fixator System	one size	$1,664.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.8.5 External Fixator, total system, Distal radius or wrist

Biomet Australia Pty Ltd

BI264	EBI XFIX Dynafix System	Distal Radius Fixator, Dimension, Stainless Steel, Aluminium	One size only	$3,305.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI272	EBI XFIX Dynafix System	Distal Radius Fixator, Wristfix, Stainless Steel, Aluminium	One size only	$2,065.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI775	EBI XFIX DynaFix System	Distal radius fixator, wristfix, sterile, complete	One size only	$2,460.00	Temporary approval pending review of product

group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 335 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lifehealthcare Pty Ltd

LH340	Poing Fix	Wrist Fixator System	One size	$2,808.00	Temporary approval pending review of product

group in Feb 09 cycle.

LH341	Wrist Fixator PFII	Wrist Fixator System	One size	$2,912.00	Temporary approval pending review of product

group in Feb 09 cycle.

LMA PacMed Pty Ltd

PM092	Orthopaedic External Fixation System - Radiolucent 	Complete System Sterile	One size only	$2,055.00	Temporary approval pending review of product

Wrist Fixator	 group in Feb 09 cycle.

Wrist

LMA PacMed Pty Ltd

PM013	Orthofix External Fixation System Pennig Wrist Fixator	Anodised aluminium and stainless steel	One size only	$3,991.00	Temporary approval pending review of product

group in Feb 09 cycle.

6.7.2.8.6 External Fixator, total system, Metaphysis

LMA PacMed Pty Ltd

PM098	Orthopaedic External Fixation System - Xcaliber 	Metadiaphyseal Fixator	One size only	$2,429.00	Temporary approval pending review of product

External Fixator	 group in Feb 09 cycle.

6.7.2.8.7.1 External Fixator, total system, Unspecified, small

Biomet Australia Pty Ltd

BI849	EBI XFIX DynaFix System	OptiROM Passive Distractor Module	One Size Only	$2,600.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI853	EBI XFIX Dynafix System	CD Clicker	Ex Small, Small, Adult, 5-20cm	$2,413.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

ST948	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly yellow	15mm	$2,485.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST949	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly blue	20mm	$2,650.00	Temporary approval pending review of product

group in Feb 09 cycle.

Zimmer Pty Ltd

ZI602	Trans Fx LITE Ankle Implant Kit	MRI Ankle Bridging Implant Kit	Large	$4,700.00	$4,935.00	Temporary Listing - Feb 2009

Prostheses List by Category, Groups and Sponsor	Page 336 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.8.7.2 External Fixator, total system, Unspecified, medium

Biomet Australia Pty Ltd

BI267	EBI XFIX Dynafix System	Fixator Complete - includes T-Clamp, 	Standard, Small, Extra Small	$5,108.00	Temporary approval pending review of product

Compression/Distraction, Dynamisation, Articulating Ankle 	 group in Feb 09 cycle.

Clamp

BI819	EBI XFIX Dynafix System	Multi Axial Correction and Metaphyseal Arc Module 	4-8cm, Xsmall - Adult	$5,075.00	Temporary approval pending review of product

complete with T-clamp	 group in Feb 09 cycle.

LMA PacMed Pty Ltd

PM062	Orthofix External Fixation System Hybrid Fixator	Anodised aluminium and stainless steel	One size only	$5,220.00	Temporary approval pending review of product

group in Feb 09 cycle.

PM110	Orthofix External Fixation Systems	Pennig Minifixator	Short, Standard, Long	$4,800.00

Stryker Australia Pty Ltd

SK007	Hoffmann II External Fixation System	Hoffmann II Compact -Compression/Distraction Rod	One size only	$2,440.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK008	Hoffmann II External Fixation System	Hoffmann II Compression/Distraction Tube	One size only	$2,440.00	Temporary approval pending review of product

group in Feb 09 cycle.

SK396	Hoffman II External Fixation System	Hoffman II Compact Sterile Pre-Packs	Sterile Wrist Kit	$4,855.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST945	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly yellow	15mm	$4,780.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST946	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly blue	20mm	$4,945.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST947	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly red	25mm	$5,110.00	Temporary approval pending review of product

group in Feb 09 cycle.

ST950	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly red	25mm	$5,110.00	Temporary approval pending review of product

group in Feb 09 cycle.

Zimmer Pty Ltd

ZI605	Trans Fx LITE - Wrist Kit	Wrist Spanning Frame	Small	$3,135.00	Temporary Listing - Feb 2009

Prostheses List by Category, Groups and Sponsor	Page 337 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.2.8.7.3 External Fixator, total system, Unspecified large

Biomet Australia Pty Ltd

BI265	EBI XFIX Dynafix System	Hybrid Fixation System, Stainless Steel, Aluminium	Rings - 1/3, 2/3, Rotating, 100mm-220mm.  	$6,361.00	Temporary approval pending review of product

Ring Bolt - Xsmall, adult. Ring to fixator 	 group in Feb 09 cycle.

connector. Rotation adaptor - male, female,

Xsmall, adult. Variable wire (1 size) or

Variable Screw Carriage (fixed and

angulating). Wire (1.6-2mm x 350-400mm).

Washer (9

BI776	EBI XFIX DynaFix System	OptiROM Articulating Fixator Complete	Small and Large	$8,042.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI850	EBI XFIX DynaFix System	Hip Distractor Aluminium, Stainless Steel, Titanium	One Size Only	$5,989.00	Temporary approval pending review of product

group in Feb 09 cycle.

Stryker Australia Pty Ltd

SK378	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Pelvic Kit	$7,680.00	Temporary approval pending review of product

group in Feb 09 cycle.

Zimmer Pty Ltd

ZI603	Trans Fx LITE - Pelvic Resuscitation Kit	MRI Pelvic Resuscitation Kit	Large	$2,175.00	Temporary Listing - Feb 2009

6.7.2.8.7.4 External Fixator, total system, Unspecified, various sizes

Stryker Australia Pty Ltd

SK390	Hoffman II External Fixation System	Hoffman II MRI	Compression/Dystraction Tube, Dynamisation	$770.00	Temporary approval pending review of product

Tube	 group in Feb 09 cycle.

mini - distractor/lengthening apparatus

Synthes Australia Pty Ltd

SY198	Orthopaedic External Fixator Systems	Distractors and lengthening apparatus	Mini - lengthening apparatus, mini - 	$3,178.00	Temporary approval pending review of product

distractor/lengthening apparatus, medium and 	 group in Feb 09 cycle.

large distractor

Prostheses List by Category, Groups and Sponsor	Page 338 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.1 Internal Fixation, other Fixation

Advanced Surgical Technologies

AD342	Charlotte Carolina Jones Fracture System	Low profile, solid-core, surgical grade stainless steel screw,	4.5mm, 5.5mm, 6.5mm, 40mm-70mm overall 	$400.00

partially threatded with thread length varying 	screw lengths

anthropometrically relative to overall screw length, utilising

specialised instruments for IM placement in the 5th

metatarsal

Biomet Australia Pty Ltd

BI979	Hitch suture anchor	Suture anchor with maxbraid sutures, PEEK	2.4mm	$493.00	$600.00	Temporary Listing

Device Technologies Australia Pty Ltd

DE290	H-Plates	Fixation plate for fusions and osteotomies	Plates, Flat - 38mm x 16mm, left,large, 38mm	$650.00

x 16mm, right,large, 34mm x 16mm, left,

medium, 34mm x 16mm, right, medium,

28mm x 16mm left,      small, 28mm x 16mm,

right,small                                Plates, Wedge

- 38mm x 16mm, 10mm wedge, left, 38mm x

16mm, 10mm wedge, right,  36mm x 16mm,

8mm wedge, left, 36mm x 16mm, 8mm

wedge, right, 34mm x 16mm, 8mm wedge,

right

Link Orthopaedics  Australia

LO147	Bone Cerclage Wire	Cerclage Wire	Length 470mm, Diameter sizes of 0.4mm, 	$7.55

0.5mm, 0.6mm, 0.7mm, 0.8mm. Packet size

of 10

LO148	Thabe Titanium Cerclage Band with Lock	Thabe Titanium Cerclage Band is crimped at the lock	6.0mm wide, 240mm	$450.00	$845.00

LO149	Bone Cerclage Band with Lock	The Cerclage Band with a locking mechanism consists of a 	Complete, length with lock: 165mm, width 5mm	$450.00	$845.00

band, manufactured from stainless steel, 165mm long and

5mm wide and a lock

Prostheses List by Category, Groups and Sponsor	Page 339 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM150	Peri-Loc PFP	Proximal Femur Locking Screw - 360L stainless steel	60MM X 22MM THRD - 130mm X 22MM 	$244.00

THRD          60mm X Full Thread - 130mm

Full Thread

6.7.3.1 Internal Fixation, other Fixation

LMT Surgical Pty Ltd

LM004	TriMed Wrist Fixation System	Buttress Pin Stainless Steel Wire Form	16 - 42mm Length, 8 - 14mm Bend	$452.00

Synthes Australia Pty Ltd

SY249	AO/ASIF K Wires, Pins Washers - Steel/Ti Sterile & 	Hybrid Pins - Spade point wires/reduction wires	1.5, 2.0mm Diameter	$129.00

Non Sterile

6.7.3.1.1 Anchor

Arthrocare Australasia Pty Ltd

AF008	ParaFix Anchor	Tendon to bone anchor	ParaFix Anchors are available in: 3mm,5mm 	$395.00

and 6.5mm

6.7.3.1.1.1 Suture Anchor

Biomet Australia Pty Ltd

BI320	Arthrotek Harpoon System	Suture Anchor, Stainless Steel, Ti	1 to 5	$450.00

ConMed Linvatec Australia Pty Ltd

LV001	Linvatec Super Revo Soft Tissue Anchor	Contains screw, driver and sutures	.	$357.00

LV006	Ultrafix RC StitchPak Suture Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	$325.00

LV024	Ultrafix MicroMite Small Joint Anchor	Suture Anchoring Device - Titanium	1.5mm predeployed diameter	$290.00	$385.00

LV027	Pre-Loaded Ultrafix RC Anchor	Surgical Grade Stainless Steel, preloaded with 2 #2 sutures	Dia 2.9mm, length 6.5mm	$375.00	$445.00

LV078	UltraFix Knotless Minimite Suture Anchor	Titanium	Diameter 2.3mm	$440.00	$520.00

LV090	Super Revo Suture Anchor with Hi-Fi Suture	Titanium Suture Anchor	5.0mm O.D x 14.2mm L	$395.00

LV091	ThRevo Suture Anchor	Titanium screw-in suture anchor	5.0mm OD x 14.2mm L	$410.00

LV111	Presto PEEK Suture Anchor	PEEK Optima Suture Anchor, pre-threaded with one or 	2.9mm O.D x 11mm L	$440.00	Temporary Listing

two sutures

Prostheses List by Category, Groups and Sponsor	Page 340 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE162	FASTak Suture Anchor (Small Bone)	Titanium suture anchor, preloaded with polyester suture	Dia 2.4mm x length 7.5mm	$425.00

DE196	Corkscrew Suture Anchor	Titanium alloy with Fibrewire suture	3.5mm - 6.5mm	$360.00

DE197	Bio - Fastak	with Fibrewire suture	3mm x 11mm	$440.00

DE198	Fastak Suture Anchor (Small Bone)	With Fibrewire Suture	Dia. 2.4mm x Length 7.5mm	$430.00

DE225	Fastak Anchor	Titanium with fibrewire suture	2.8mm x 11.7mm	$355.00

DE261	Pushlock Suture Anchor	Knotless Suture Anchor	2.5 - 5.5 x 5 - 18.5mm	$600.00

Johnson & Johnson Medical Pty Ltd

JJ696	Lupine BR Anchor System	Biocryl Rapide anchor with two strands of Orthocord suture	One size only	$440.00	$483.00

JJ774	Healix PEEK Suture Anchor	PEEK anchor with Orthocord suture	4.5 - 6.5mm anchor diameter	$493.00	$550.00

LMT Surgical Pty Ltd

LM090	Memometal Arim	Anchorage support for stabilisation for tendon, capsular or 	1.0mm 2.0mm 3.6mm	$600.00

ligamentary defects

Smith & Nephew Surgical Pty Ltd

SM146	Bioraptor 2.3 PK	PEEK optima suture anchor	2.3mm	$440.00

SM147	TWINFIX FT PK	PEEK optima fully threaded suture anchor	5.5mm and 6.5mm	$493.00

SM148	FOOTPRINT	Non-knot tying PEEK suture anchor	5.5mm and 6.5mm	$600.00

SM162	SPYROMITE	A non-absorbable polymer (PEEK) anchor for use in 	2mm in diameter	$440.00

ligament/tendon reconstruction in small joint applications

SM163	DYNOMITE	A non-absorbable polymer (PEEK) anchor for use in 	2mm in diameter	$440.00

ligament/tendon reconstruction in small joint applications.

SN416	Shoulder Reconstruction 	Fastentor Suture Anchor	One size only	$290.00

SN442	Mini TAG	Suture Anchor 2.0mm	2.0mm	$149.00

SN714	TwinFix	Quick-T	2.8 - 6.5mm	$460.00

SN846	KINSA	Suture Anchor, Polmer With Polyester Suture Material	2.9mm	$600.00

Stryker Australia Pty Ltd

HW373	Howmedica Mainstay Soft Tissue Anchor	With suture - Titanium	4.5 anchor with #2 and #5 suture, 2.7 anchor 	$190.00

with #0 suture

Prostheses List by Category, Groups and Sponsor	Page 341 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI182	Zimmer Internal Fixation Systems: Soft Tissue Re-	Statak/Mini-Statak - Suture, Stainless Steel	2, 5 mm - 5, 0mm	$240.00

attachment Device

button

Biomet Australia Pty Ltd

BI233	Arthrotek Ligament Fixation System	Suture Button, HMWPE	15mm, 19mm	$185.00

Resorbable

Biomet Australia Pty Ltd

BI275	Lactosorb Suture Anchors	Suture Anchor, Lactosorb, PGA/PLA	2.0mm, 3.0mm	$405.00

BI809	Lactosorb Suture Anchor	Threaded, PGA/PLA	Dia 3.5mm, 5.5mm	$444.00

ConMed Linvatec Australia Pty Ltd

LV008	Preloaded Bio-Anchor Absorbable Suture Anchor	Soft Tissue Re-attachment - PLLA	3.5mm diameter	$300.00	$360.00

LV089	Duet Suture Anchor with polyester suture	Self-Reinforced 96L/4D PLA Copolymer Anchor	6.0mm O.D. x 16.5mm L	$450.00

LV093	Impact Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	3.5mm O.D. x 10.5mm L	$460.00

Device Technologies Australia Pty Ltd

DE140	Bio-Fastak	Composition - Poly  (L-lactide-co-D, L-lactide) with an 	3-11mm	$390.00

insert molded eyelet of non-absorbable polyester suture

DE195	Corkscrew FT	Suture Anchor with Fiberwire	3.5mm - 6.5mm	$435.00

DE220	Suturetak Suture Anchor	Suture Anchor with Fiberwire	2.4 - 3.7mm diameter x 5 - 14mm length	$430.00

Johnson & Johnson Medical Pty Ltd

JJ098	Panalok RC Anchor System	Polylactic acid absorbable anchor with absorbable and 	2.9 x 11.0mm	$437.00

non-absorbable suture

JJ099	Panalok Anchor System	Polylactic acid absorbable anchor with absorbable and 	4.1 x 6.0mm	$435.00

non-absorbable suture

JJ231	Bioknotless Anchor System	PLA absorbable material with various sutures	Dia 3.9mm, length 9mm	$435.00

JJ232	Cufftack rotator cuff anchor	Composition of anchor is a) tack - abosorbable PLA b) pin	Anchor diameter 4.5mm, length 23mm	$435.00

- absorbable L PLA c) sleeve - Prolene

Prostheses List by Category, Groups and Sponsor	Page 342 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ233	Panalok RC QuickAnchor Plus DS Panacryl Suture	Anchor composed of PLA, Suture composed of PLA and 	Anchor diameter 2.9mm, length 11mm	$432.00

PGA

JJ234	Panalok RC QuickAnchor Plus DS Ethibond Suture	Anchor composed of PLA, Suture composed of polyester	Anchor diameter 2.9mm, length 11mm	$432.00

JJ420	MiniLok Quick Anchor Plus with Ethibond	Anchor composition is PLA	MiniLok Quick Anchor Plus # 0 Suture OS-2	$438.00

Needles; MiniLok Quick Anchor Plus # 2/0

Suture V5 Needles

JJ421	MicroFix Anchor with Orthocord	Anchor with suture	Anchor with Orthocord with multiple size 	$438.00

needles

JJ422	MiniLok Quick Anchor with Orthocord	Anchor with Orthocord	Anchor with Orthocord and Multiple size 	$432.00

needles

JJ424	Panalok RC Loop Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	$440.00

JJ425	Panalok RC Loop Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	$440.00

JJ426	Bioknotless RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	$440.00

JJ427	Lupine Loop Anchor System	PLLA with various sutures	Dia 3.9mm Length 9mm	$440.00

JJ428	BioFastin RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	$440.00

JJ429	Bioknotless RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	$440.00

JJ430	BioFastin RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	$440.00

JJ431	Lupine Loop Anchor System	PLLA with various sutures	Dia 3.9mm Length 9mm	$440.00

JJ457	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with absorbable suture 	5mm, 6.5mm	$488.00

with needles

JJ458	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with non-absorbable 	5mm, 6.5mm	$493.00

suture without needles

JJ460	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with non-absorbable 	5 & 6.5mm	$487.00

suture with needles

JJ471	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with absorbable suture 	6 & 6.5mm	$488.00

without needles

JJ472	BioKnotless Anchor System	PLA absorbable material with various sutures	Dia 3.9mm Length 9mm	$493.00

JJ483	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with non-absorbable 	5mm, 6.5mm	$480.00

suture with or without needles

Prostheses List by Category, Groups and Sponsor	Page 343 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ698	Bioknotless BR Bone Anchor System	BIOKNOTLESS BR anchors with Orthocord or Panacryl 	One size only	$435.00	$498.00

suture

Smith & Nephew Surgical Pty Ltd

SN008	Rotorloc Absorbable PLA Suture Anchor System	-	One size only	$305.00

Stryker Australia Pty Ltd

SK451	XCEL Anchor	Bio-absorbable Suture Anchor	2mm-10mm	$440.00

titanium

Johnson & Johnson Medical Pty Ltd

JJ076	Mitek Ethibond Knotless Suture Anchor	Titanium anchor	2.7 x 10.8 mm	$385.00

JJ082	Mitek Mini Anchor Threader Tab	Titanium Suture Anchor	1.8 x 5.4mm	$287.00

JJ083	Mitek GII Anchor Threader Tab	Titanium Suture Anchor	2.4 x 8.8mm	$287.00

JJ084	Mitek Rotator Cuff Anchor Threader Tab	Titanium Suture Anchor	2.8 x 11mm	$287.00

JJ085	Mitek Super Anchor Threader Tab to bone	Titanium Suture Anchor	2.8 x 11.4mm	$287.00

JJ086	Mitek Tacit Anchor Threader Tab	Titanium Suture Anchor	2.0 x 3.6mm	$251.00

JJ087	Mitek Tacit Quick Anchor 	Titanium Suture Anchor	2.0 x 3.6mm	$255.00

JJ089	Mitek GII QuickAnchor Plus 	Titanium Anchor, with various sutures	2.4 x 8.8mm	$346.00

JJ091	Mini Quick Anchor with Orthocord	Anchor with Orthocord	Anchor with Orthocord and Multiple size 	$345.00

needles

JJ093	Mitek Rotator Cuff Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11mm	$345.00

JJ095	Mitek Super Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11.4mm	$345.00

JJ096	Mitek Fastin Anchor 	Titanium Suture Anchor	3 x 8.4mm, 4 x 9.7mm, 5.2 x 11.5mm	$281.00

JJ097	Fastin RC Anchor System	Titanium Anchor, with various sutures	5 & 6.5mm	$281.00

JJ100	Micro Quick Anchor 	Titanium Suture Anchor	1.3 x 3.7mm	$289.00

without suture

Stryker Australia Pty Ltd

HW374	Howmedica Mainstay Soft Tissue Anchor	Without suture - Titanium	4.5, 3.5 and 2.7 anchor	$152.00

Prostheses List by Category, Groups and Sponsor	Page 344 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.1.1.2 Meniscal Anchor

Biomet Australia Pty Ltd

BI276	Readsorbable Meniscal Staple	PGA/PLA	11mm, 13mm	$594.00

BI969	MaxFire	Meniscal Repair Device	one size	$335.00

Johnson & Johnson Medical Pty Ltd

JJ077	Mitek Polypropylene Meniscus Fastner	Polypropylene anchor	6 & 8mm x 4mm 	$248.00

Smith & Nephew Surgical Pty Ltd

SN417	T-Bar Suture Retention System	T-Fix RCG 	1.8mm	$235.00

SN418	T-Bar Suture Retention System	T-Fix Single & Double	T-Fix Suture Bar, Straight Needle, Double 	$188.00

Suture

Resorbable

Arthrocare Australasia Pty Ltd

AF025	CPS Bioabsorbable Fixation System	Trinion meniscus screw: PLGA/TMC copolymer	10 & 12mm long	$179.00

ConMed Linvatec Australia Pty Ltd

LV021	BioStinger - V Bio - Absorbable Meniscal Repair Device	Meniscal Repair Device - PLLA	10mm - 16mm	$270.00

LV028	Pre-loaded BioStinger Bio-Absorbable Meniscal Repair 	Violet, PLLA	10, 13, 16mm	$309.00	$350.00

Implant

LV071	Contour Meniscus Arrow	80L/20D, LPLA & PLLA	1.1mm x 10, 13,16mm	$230.00	$285.00

LV072	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 1	1.1mm x 10, 13,16mm	$230.00	$285.00

LV074	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 3	1.1mm x 10, 13,16mm	$690.00	$844.00

Device Technologies Australia Pty Ltd

DE059	Arthrex Meniscal Dart	PLA	10mm - 14mm	$304.00

Johnson & Johnson Medical Pty Ltd

JJ002	Meniscal Screw	Bioabsorbable Poly Lactic Acid	.	$251.00

JJ307	Rapidloc Meniscal Repair PLA Tophat with Ethibond 	Composition: PLA Implant and Ethibond Suture, non 	2/0	$253.00

Suture	absorbable suture

JJ308	Rapidloc Meniscal Repair PLA Tophat with Panacryl 	Composition: PLA Implant and Panacryl Suture	Straight needle, 12 degree curved needle, 27 	$253.00

Suture	degree curved needle

Prostheses List by Category, Groups and Sponsor	Page 345 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ461	RapidLoc Meniscal Repair System with PDS	PLA (absorbable) backstop and PDS (absorbable) top hat	One size only	$257.00

and Panacryl absorbable suture connecting the top hat and

backstop

Smith & Nephew Surgical Pty Ltd

SN141	T-Bar Suture Retention System	Fastfix	One size only	$335.00	$425.00

6.7.3.1.1.3 Ligament Anchor

Biomet Australia Pty Ltd

BI005	Re-Unite Orthopaedic System	Rotator Cuff Butress, Lactosorb; PGA/PLA	One size only	$430.00

BI206	Arthrotek Ligament Fixation System	 Screw and washer. Ti	Washer 14 - 18mm, Screw 24 - 60mm,	$1,085.00

BI920	EZLoc Femoral fixation Device	Ligament Anchor, Ti, PE	7-8; 9-10mm x Short, std or long.	$445.00

BI968	ToggleLoc	Femoral Fixation Device	15mm-60mm	$369.00

Device Technologies Australia Pty Ltd

DE166	Bio-Tenodesis Screw	Composition PLLA	Dia 5.5-9mm	$570.00	$670.00

Johnson & Johnson Medical Pty Ltd

JJ075	Mitek Ligament Anchor 	Titanium anchor	6mm x (15 to 25mm)	$440.00

JJ678	Versalok Bone Anchor System with Orthocord	Anchor, sterile, pre-mounted on inserter shaft with 2 free 	One size only	$600.00

strands of Orthocord suture

LMT Surgical Pty Ltd

LM086	Surgicraft	Fixation Bollard	One size only	$475.00

Smith & Nephew Surgical Pty Ltd

SN426	ACL/PCL Reconstructions	EndoButton	4 x 12mm, 4mm x 18mm	$248.00

SN428	ACL/PCL Reconstructions	EndoButton CL	20-50mm	$369.00

Stryker Australia Pty Ltd

SK046	Stryker Wedge Interference Screw	Threaded bioabsorbable screw for ligment/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	$306.00

SK047	Stryker Wedge Interference Screw	Threaded biosteon screw for ligment/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	$342.00	$566.00

SK048	Stryker Cuff Anchor	Titanium anchor kit for soft tissue reattachment	Length 5-8mm	$357.00

SK154	Stryker Cross-Screw	HA/PLLA screw for ligament/tendon fixation	Dia 6mm: Length 40-60mm	$350.00	$572.00

Prostheses List by Category, Groups and Sponsor	Page 346 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK176	Stryker Cuff Anchor	Bio Zip PLLA anchor for soft tissue ligament/tendon fixation	Dia 3 - 8mm	$398.00

Accessory button

Smith & Nephew Surgical Pty Ltd

SN427	ACL/PCL Reconstructions	Fixation Button	12-17mm	$35.00

button

Device Technologies Australia Pty Ltd

DE080	Tissue Button	PLA	6.5mm - 10mm	$180.00

Resorbable

Global Orthopaedic Technology

GO170	Resofix Anchor	Resofix anchor is a 2-shell expansion bolt made of 	Resofix - S Anchor - 10mm; Resofix - P 	$1,000.00

amorphous poly DL-Lactide resorbablel polyester	Anchor - 10mm

Johnson & Johnson Medical Pty Ltd

JJ126	Contack Fastener	Polylactic acid tack	(3.5 to 7.5mm) x11.5mm	$447.00

6.7.3.1.1.4 Anchor, ACL

ConMed Linvatec Australia Pty Ltd

LV016	Propel Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 30mm	$150.00

LV017	Guardsman Femoral Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 30mm	$185.00

LV018	Cannulated Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 40mm	$148.00

Smith & Nephew Surgical Pty Ltd

SN423	ACL/PCL Reconstructions	Acufex Tibial Fixation Anchor	One size only	$185.00

SN429	ACL/PCL Reconstructions	EndoButton Tape	One size only	$159.00

Stryker Australia Pty Ltd

SK023	ACL Wedge Interference Screw	Threaded titanium screw for ligament/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	$255.00

SK024	Stryker Cross-screw	Threaded titanium screw for ligament/tendon fixation	8mm x 40-60mm	$455.00

Prostheses List by Category, Groups and Sponsor	Page 347 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Smith & Nephew Surgical Pty Ltd

SN430	ACL/PCL Reconstructions	EndoFix Bioabsorbable Screw	7 x 20mm - 9mm x30mm	$185.00

6.7.3.1.1.5 Anchor, other soft tissue

ConMed Linvatec Australia Pty Ltd

LV003	Ultrafix RC, Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	$300.00

LV005	Ultrafix MiniMite StitchPak Suture Anchor	Soft Tissue Re-attachment - Stainless Steel	2.3mm predeployed diameter	$338.00

LV009	Revo Cancellous Screw	Soft Tissue Re-attachment - Titanium	4mm diameter	$335.00

LV010	Mini-Revo Screw	Soft Tissue Re-attachment - Titanium	2.7mm diameter	$340.00

LV012	Soft Tissue Anchoring Implant - Flat Washer	Soft Tissue Re-attachment - Titanium	14, 17mm	$162.00

LV013	Soft Tissue Anchoring Implant - Cortical Screw	Soft Tissue Re-attachment - Titanium	30 -  80mm	$175.00

LV014	Soft Tissue Anchoring Implant - Cancellous Screw	Soft Tissue Re-attachment - Titanium	25 -  65mm	$200.00

Smith & Nephew Surgical Pty Ltd

SN652	OBL Anchor System 	Soft Tissue Anchor System Non-preloaded Material:  	4.0 and 6.5mm	$218.00

Titanium Alloy

Stryker Australia Pty Ltd

HW375	Howmedica Mainstay Soft Tissue Anchor	Zip anchor - Titanium	Sip 4.5 anchor with #5 suture and #2 suture 2 	$257.00

strands, zip 3.5 anchor with #2 suture and #0

suture 2 strands, zip 2.7 anchor with #0 suture

SK177	Stryker Cuff Anchor	Glenoid Titanium anchor kit for soft tissue reattachment	Dia 2 - 3mm	$194.00

Resorbable

Smith & Nephew Surgical Pty Ltd

SN651	OBL Anchor System	Preloaded Soft Tissue Anchor System Material: Titanium 	Anchor sizes - Titanium: 2.8, 3.5, 4.0 5.0, 	$255.00

Alloy or Polyacetal Polymer. Comes with Insertion device 	6.5mm Anchor size - Polymer: 5.0mm

and 2 Braided Polyester Sutures

Prostheses List by Category, Groups and Sponsor	Page 348 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.1.1.6 Anchor wedge

Smith & Nephew Surgical Pty Ltd

SN413	Shoulder Reconstruction	3.7mm TAG & Wedge Suture Wedge	3.7mm	$135.00

SN415	Shoulder Reconstruction	TAG Bioabsorbable Anchor Wedge	3.7mm	$129.00

6.7.3.1.1.7 Internal Fixation, unknown

Device Technologies Australia Pty Ltd

DE252	Tightrope Syndesmosis Repair Kit	Titanium or stainless steel, with non absorbable Fiberwire 	One size only	$589.00

suture material

LMA PacMed Pty Ltd

PM109	Orthofix External Fixation Systems	MiniRail System	Short, Standard, Long and Articulated 	$2,150.00

Horizontal and Vertical Axis

Synthes Australia Pty Ltd

SY263	AO/ASIF Intermedullary Nails	Hip Pin	30-200mm Length	$391.00

Cannulated

Synthes Australia Pty Ltd

SY285	AO/ASIF Blade	Helical blade	50-150mm length	$515.00

6.7.3.1.2 Bolt

LMT Surgical Pty Ltd

LM088	NewClip Variable Angle Periarticular Fixation Plates	Stainless steel and titanium plates	size 1 to 8	$1,500.00

6.7.3.1.3.1 Bone staple

Advanced Surgical Technologies

AD324	Charlotte Foot & Ankle System	Quick Staple, Stainless Steel	One Size Only	$235.00

ConMed Linvatec Australia Pty Ltd

LV015	Staple Fixation System	Soft Tissue Re-attachment - Titanium	9.5 - 16.5mm	$160.00

Prostheses List by Category, Groups and Sponsor	Page 349 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LV025	Staplizer Bone Staple Cartridge	5 Titanium staples per cartridge	7 x 7mm, 7 x 10mm, 10 x 7mm, 10 x 10mm, 	$295.00	$370.00

10 x 15mm, 13 x 7mm, 13 x 10mm, 13 x

15mm, 13 x 20mm, 16 x 10mm, 16 x 15mm,

16 x 20mm, 16 x 25mm

Darco Australia

DC019	Mini Staple	For fixation of osteotomies of first phalanx (e.g. Akin), 	0° and 63°, 8-10mm x 10mm	$285.00

1mm diameter, straight & angled design

DC030	Hot-Staples	Manufactured from Nitinol. Once implanted, staple is 	11 - 25mm	$697.00

heated using a thermo-cautery system causing the staple

shape to reduce and compress, providing efficient and

continued interfragmental compression.

Johnson & Johnson Medical Pty Ltd

DY411	Hand and Foot Fracture Systems	FRSStandard Staple, Straight	8 to 10mm	$300.00

Orthocare Pty Limited

OC009	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	5mm	$110.00

absorbable. Stainless Steel non-absorbable. Non-sterile

57-73

Smith & Nephew Surgical Pty Ltd

SN414	Shoulder Reconstruction	Suretac Absorbable Staple	6-8 x 16mm	$273.00

SN463	Bone Staple	Fixation - Osteotomy	Fixation Staple 5mm- 14mm.  McConnel 	$163.00

HTO PF 15mm 0-S

SN464	Bone Staple	Fixation - Short Leg	Xsmall - large	$125.00

SN465	Bone Staple	Fixation - Table	Small -Medium  13mm - 16mm. 	$205.00

SN466	Bone Staple	Krackow HTO	12,14,16mm	$249.00

Stryker Australia Pty Ltd

HW317	Rutherford Staple	Ellison Arched Staple, Vitallium	9,12,15mm x 23mm	$177.00

HW318	Rutherford Staple	Ellison Flat Staple, Vitallium	8,11,14 x 23mm	$135.00

HW319	Rutherford Staple	Ellison Soft Tissue Retainer,  Vitallium	8,11,14mm 	$125.00

Surgical House

SU012	Solustaple Standard Staple	Stainless steel 90 deg & 26 degree	8 & 10mm length	$235.00

SU205	Solustaple Standard Staple (Sterile)	Stainless Steel	26°, 90°, 8-10mm	$235.00

Prostheses List by Category, Groups and Sponsor	Page 350 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Calcaneal

Advanced Surgical Technologies

AD326	Calcaneal Step OSStaple	Dynamic Compression Implant, Calcaneal Step OSStaple, 	2mm, 4mm, 6mm 9mm & 12mm offsets	$710.00

Nitinol Memory Alloy

Compression

Advanced Surgical Technologies

AD257	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Large wire 2.0-3.0 - Sizes 20x20x20, 	$500.00

Biocompatible Nitonol	22x25x22, 30x30x30, 12x15x12

AD258	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Small wire 1.2-1.5 - Sizes 5x7x5, 7x9x7, 	$390.00

Biocompatible Nitonol	8x11x8, 10x11x10, 10x13x10, 12x15x12,

15x15x15, 18x15x18, 15x20x15, 18x20x18

AD259	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - Asymmetric 	Asymmetric - 11x15x13, 11x17x15, 	$405.00

Staples - Biocompatible Nitonol Construction	11x17x19 &18x18x15

AD260	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Plate Staple - 	Plate Staple - 15x6, 15x8, 15x10	$540.00

Biocompatible Nitonol Construction

AD323	Charlotte Foot & Ankle System	Compression Staple, Stainless Steel	13, 15, 20, 25mm interaxis, leg lengths 11, 	$698.00

13, 15, 17, 20 & 25mm, 10 Sizes in Total

Lifehealthcare Pty Ltd

LH337	Memofix Staples	Nitinol	10-17mm x 12-20mm Length	$718.00

Surgical House

SU013	Uni-Clip Compression Staple	Stainless steel	Width 11mm - 30mm, Length 13mm - 32mm;	$750.00

Notched - Width 11mm - 30mm, Length

13mm - 32mm;

SU204	Uni-Clip Compression Staple (Sterile)	Stainless Steel, Notched and Non-Notched	Width 11-30mm, Length 13-32mm	$750.00

6.7.3.1.3.2 Ligament staple

Device Technologies Australia Pty Ltd

DE062	Ligament Staples	Cobalt Chromium Molybdenium Alloy	6mm - 16mm	$135.00

Prostheses List by Category, Groups and Sponsor	Page 351 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthocare Pty Limited

OC010	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	10mm	$110.00

absorbable. Stainless Steel non-absorbable. Non-sterile

57-74

OC011	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	15mm	$110.00

absorbable. Stainless Steel non-absorbable.  Non-sterile

57-75

OC012	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	6mm	$80.00

absorbable. Non-sterile

OC013	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	8mm	$80.00

absorbable. Non-sterile

OC014	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	11mm	$80.00

absorbable. Non-sterile

OC015	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	16mm	$80.00

absorbable. Non-sterile

6.7.3.1.4 Nut

Johnson & Johnson Medical Pty Ltd

DP893	Rockwood Clavical Pin	Nut Clavical Pin S/S	2.5 to 4.5mm	$135.00

Smith & Nephew Surgical Pty Ltd

SN713	Trigen	Stable-Lok Nut	One Size Only	$346.00

Stryker Australia Pty Ltd

SK204	Stryker Trauma Locking Nail System	SCN	Nut for Condyle Screws 5mm	$232.00

Zimmer Pty Ltd

ZI209	Zimmer Large-Frag System	Cortical Nut for 4.5mm screw	Small & Large	$40.00

6.7.3.1.5 Fixation Pin

Biomet Australia Pty Ltd

BI232	Moore Pins	Scan Pin, Stainless Steel	16mm x 51-152mm	$210.00

ConMed Linvatec Australia Pty Ltd

LV063	SmartNail	Self-Reinforced 96L/4D PLA Bone Fixation Nail	1.5mm O.D x 16, 20 & 25mm L	$225.00	$431.00

LV084	SmartNail	Self-reinforced 96L / 4D PLA Bone Fixation Nail	2.4mm O.D x 16, 25, 35 & 45mm L	$220.00

Prostheses List by Category, Groups and Sponsor	Page 352 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE273	Trim-IT Spin Pin	Trim-IT  Pin Fixation	1.5 - 2.0mm x 100mm	$350.00

Johnson & Johnson Medical Pty Ltd

DY413	Hand and Foot Fracture Systems	FRS .S.O.C Pin	9 to 40 mm Thread Length	$229.00

Medical & Optical Instruments Australia Pty Ltd

MO162	Tension Band Pin	Stainless Steel	50 to 90mm	$156.00

Stryker Australia Pty Ltd

SK230	Hansson Pin	Cephalic Implants	Hansson Pin 70-140mm	$335.00

ST038	Stryker Plating System -  Reduction Pin	4.5mm Diameter, Stainless Steel	One size only	$175.00

Synthes Australia Pty Ltd

SY050	AO/ASIF Screws	Plate pin	1.8mm buttress pin 12 - 30mm	$45.00

Zimmer Pty Ltd

ZI323	Zimmer Wires	Stainless Steel Rushpins	Diameter 2.4 - 6.4mm; Length 2.5 - 52.7cm	$206.00

Cannulated

Smith & Nephew Surgical Pty Ltd

SN631	Cannulated Hip Pins	Rush Nails, Round Bevil Point Hook Pins	20.3mm - 254mm	$110.00

Clavicle

Johnson & Johnson Medical Pty Ltd

DP892	Rockwood Clavical Pin	Rockwood Clavicle Pin + Nut S/S	2.5 to 4.5mm	$243.00

Clavicle, Assembly

Johnson & Johnson Medical Pty Ltd

DY272	Clavicle Pin (Sterile)	Clavicle pin assembly	2.5-4.5mm	$358.00

Clavicle, compression

Advanced Surgical Design & Manufacture Ltd

AE068	ASDM Clavicle Compression System	Clavicle Compression PinTitanium Screw, Double 	3.2 & 4.0 mm x 50mm - 130mm	$243.00	$690.00

Threaded

Guide Pin

Stryker Australia Pty Ltd

HW297	Asnis Guided Screw System	Guide Pin, Stainless Steel	1.4,2.0,3.2mm	$60.00

Prostheses List by Category, Groups and Sponsor	Page 353 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Intramedullary

Biomet Australia Pty Ltd

BI303	Rush Intramedullary Pins	Stainless Steel	2.4mm x (30-35mm)	$84.00

BI304	Rush Intramedullary Pins	Stainless Steel	3.2mm x (100-250mm)	$300.00

BI305	Rush Intramedullary Pins	Stainless Steel	(2.4, 4.8)mm dia x (30-360)mm	$135.00

BI306	Rush Intramedullary Pins	Stainless Steel	(6 - 6.4mm) x (280 - 440mm)	$175.00

Not Resorbable

Johnson & Johnson Medical Pty Ltd

DP092	Orthosorb Absorbable Pin	Orthosorb K Wire  - Stainless Steel Tapered Pins	1 x 40mm x 1.3mm Pk 3	$206.00

Resorbable

Arthrocare Australasia Pty Ltd

AF018	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Pin 1.5 & 2 mm dia x 20-50 mm long	$185.00

B Braun Australia Pty Ltd

BB060	BRAUN AUST Intramedullary Nails	Isosorb Resorbable Fixation Pin	2mmx60mm-3.5mmx80mm	$213.00

Biomet Australia Pty Ltd

BI277	Re-Unite Orthopaedic Bone Pin	Bone Pin, PGA/PLA	(1-4)mm dia x (20-70)mm	$160.00

ConMed Linvatec Australia Pty Ltd

LV088	SmartPin Resorbable Bone Fixation Pin, 1.1mm	Self-Reinforced PLLA	10, 20, 30 & 40mm	$220.00

Johnson & Johnson Medical Pty Ltd

DP088	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone Fixation Pins 	2mm	$298.00

DP091	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	40 x 2.0mm	$736.00

DP093	Orthosorb Absorbable Pin	Orthosorb -Polydiameterxanone	1.3mm	$165.00

DP094	Orthosorb Absorbable Pin	Orthosorb Pk 2 - Polydiaxanone	40mm x 2.0mm	$291.00

DP095	Orthosorb Absorbable Pin	Orthosorb Arthroscopic Fix-Set - Polydiaxanone	1.3MM	$671.00

Zimmer Pty Ltd

ZI336	Polypin Resorbable Bone Pin	Polylactide	1.5, 2.0, 2.7mm	$246.00

Prostheses List by Category, Groups and Sponsor	Page 354 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable,3 pack

Johnson & Johnson Medical Pty Ltd

DP089	Orthosorb Absorbable Pin	Orthosorb Pkt3 - Polydiaxanone	40mm x2mm	$372.00

DP090	Orthosorb Absorbable Pin	Orthosorb Pkt 3 - Polydiaxanone	1mm x 40mm x 1.3mm	$734.00

6.7.3.1.6.1 Wedge, Osteotomy, tibial

Stryker Australia Pty Ltd

HW404	First Step High Tibial Osteotomy System	Proximal Component	5mm, 10mm and 15mm steps, 60-90mm in 	$632.00

5mm increments

distal part

Stryker Australia Pty Ltd

HW186	First Step High Tibial Osteotomy System	Distal Component -  Vitallium	30 to 55mm in 5mm increments	$1,004.00

6.7.3.1.7.1 Cerclage Wire

Johnson & Johnson Medical Pty Ltd

DP683	Small / Large Fragment Set S/S	Cerclage Wire Loop Stainless Steel 	0.8-1.2mm x 280-600	$17.00

DP758	Small / Large Fragment Set S/S	Cerclage 	0.8-2.5mm D898	$14.00

Medical & Optical Instruments Australia Pty Ltd

MO196	Osteo Clage Cable System	Cerclage wire and sleeve	500mm	$435.00

Smith & Nephew Surgical Pty Ltd

SM010	PLUS Endoprothetik Cerclage Systems	CCG Band - Pure Titanium	Length 27cm	$450.00

SN460	Wire	Cerclage	0.6mmx175mm - 0.8mmx200mm	$14.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Stryker Australia Pty Ltd

HW199	Howmedica Modular Resection System	Circlip -  Vitallium	One size only	$74.00

Synthes Australia Pty Ltd

SY257	A/O/ASIF K-wires, Pins, Washers etc - Steel - Sterile 	Cerclage Wire - coils with and without eye	0.4-2.5mm	$56.00	To be funded where any or all K-wires used in

& Non Sterile	a procedure are used as an implant.

Prostheses List by Category, Groups and Sponsor	Page 355 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.1.7.2 K-wire

Ackermann Australia Pty Ltd

AK004	Kirschner Wires	Kirschner Wire	0.6mm to 3.0mm diameter / various lengths	$9.00

Advanced Surgical Design & Manufacture Ltd

AE052	ASDM K-wire	Stainless steel - sterile	Dia 0.7 - 2.5mm, length 100 - 230mm	$11.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Austofix

AX028	Austofix Femoral & Tibial Nailing System	K-Wire; s-s; trocar tip	1.6mm	$27.00

B Braun Australia Pty Ltd

BB071	Kirshner Wires all Sizes	Steel	Dia 0.8mm-3.0mm, Length 70mm-310mm	$11.00	$30.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Biomet Australia Pty Ltd

BI857	Kirschner Wires	Stainless Steel wire	(1-3.2mm) diameter x (100 to 310mm) length	$17.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Darco Australia

DC014	K Wire	Titanium or stainless steel, single or double trocar	0.9 - 2.0mm	$11.00

Johnson & Johnson Medical Pty Ltd

DP702	Small / Large Fragment Set S/S	Threaded K/Wire	1.5-2.5mm	$11.00

DP793	Small / Large Fragment Set S/S	K/Wire Stainless Steel 	0.8 to 3.0 mm x 6-9" or 150-500mm	$7.00

DP809	Small / Large Fragment Set S/S	K-wire standard	1/8 inch	$30.00

DP810	Small / Large Fragment Set S/S	K-Wire Double Point  each	5/32 inch	$11.00	$31.00

Lifehealthcare Pty Ltd

LH422	SBi K-Wire	K-Wire	1.6mm	$18.00

LMT Surgical Pty Ltd

LM014	Trimed Marked K-Wire	Stainless Steel	Diameter 0.9 - 1.1mm	$40.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Prostheses List by Category, Groups and Sponsor	Page 356 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO177	Acutrak Fixation Screw	Wire Kirschner Stainless Steel	0.70mm to 1.6mm diameter, 4 to 9in (10.16 	$20.00	To be funded where any or all K-wires used in

to 22.86mm) length	a procedure are used as an implant.

MO209	Acumed Congruent Plate System	Threaded K-Wire - Titanium	WT-1606STT: Length 15cm x Diameter 	$73.00	To be funded where any or all K-wires used in

0.62"; WT-0906STT: Length 15cm x 	a procedure are used as an implant.

Diameter 0.35"; WS-2408STT length

20.32cm x Diameter 0.24cm

Smith & Nephew Surgical Pty Ltd

SN451	Wire	Kirschner	Various 1.3 - 304.8mm	$11.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Stryker Australia Pty Ltd

HW368	Osteo Kirschner Wire	K wire -  Stainless Steel	Diameter 1.0 - 2.0mm	$11.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

ST007	Stryker Plating System - K Wires	Stainless Steel or Titanium	150mm length in 1.25, 1.6, 2.0mm diameter	$18.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Surgical House

SU010	K-Wire (Kirschner)	Stainless steel	70mm, 100mm, 200mm length	$40.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Synthes Australia Pty Ltd

SY087	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wire single ended	0.06 - 3.0mm / length 70 - 400mm	$28.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

SY089	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wires threaded	0.25 & 15mm / dia .08 - 3.0mm & length 70-	$72.00	To be funded where any or all K-wires used in

300mm	a procedure are used as an implant.

Trewavis Surgical Instruments Pty Ltd

TS001	Trewavis Surgical Kirschner Wires	Composition: Stainless Steel, Model No: 200-000-A to 	Dia 0.7-2.8mm, Length 100-230mm	$11.00	To be funded where any or all K-wires used in

200-930-K	a procedure are used as an implant.

Prostheses List by Category, Groups and Sponsor	Page 357 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI293	Zimmer Wires	Stainless Steel	Length 23cm, Thickness 2mm, 0-4mm, 8mm	$11.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

ZI294	Zimmer Wires	Stainless Steel	Length 7, 6cm - 23cm, Thickness 0mm, 7mm 	$11.00	To be funded where any or all K-wires used in

- 2mm, 0mm	a procedure are used as an implant.

Cannulated

Johnson & Johnson Medical Pty Ltd

DP701	Small / Large Fragment Set S/S	Bored K/Wire Stainless Steel 	2.0-3.0mm x 80/30-200-15	$98.00

Not Resorbable

Johnson & Johnson Medical Pty Ltd

DP039	Orthosorb Absorbable Pin	Orthosorb K-Wire  - Stainless Steel	L300 D2.0mm Thread Each	$17.00

6.7.3.1.7.3 Suture Wire

Advanced Surgical Design & Manufacture Ltd

AE069	Threaded wires & pins	Threaded wires & pins	1.0-5.0mm diametersvarious threaded 	$89.00

lengths

Arthrocare Australasia Pty Ltd

AF003	AutoCuff System - Suture Cartridge	SmartStitch Suture Cartridge	Number 2 braided polyester	$85.00

Johnson & Johnson Medical Pty Ltd

DP232	Suture Wire	Wire Suture Stainless Steel	0.5 to 5mm	$101.00

Smith & Nephew Surgical Pty Ltd

SN459	Wire	Suture	18Ga - 28Ga	$80.00	To be funded where any or all K-wires used in

a procedure are used as an implant.

Stryker Australia Pty Ltd

SK456	Ligature Wire	Titanium or Stainless Steel	Diameter 0.25 -2.0mm, Length 1- 400mm	$20.00

Synthes Australia Pty Ltd

SY417	Titanium Wire, Barb and Needle	Titanium wire surture and needle with titanium alloy barb 	One size only	$450.00

fixation

Prostheses List by Category, Groups and Sponsor	Page 358 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Ligature

Arthrocare Australasia Pty Ltd

AF002	AutoCuff System - Suture Cartridge	SmartStitch Magnum Wire - Ultra high tensile strength	.	$110.00

6.7.3.1.7.4 Wire mount

Synthes Australia Pty Ltd

SY057	AO/ASIF K-Wires, Pins, Washers etc	Wire mount & spacer	2mm - 6mm	$109.00

SY261	LCP Spacer/Washer	LCP Wiremount Spacer	Diameter 2mm - 6mm	$63.00

6.7.3.1.7.5 Cerclage Band

Smith & Nephew Surgical Pty Ltd

SM011	PLUS Endoprothetik Cerclage Systems	CCG-GF Band with fixation spikes - Pure Titanium	Length 27cm	$625.00

with stabiliser

Smith & Nephew Surgical Pty Ltd

SM033	PLUS Endoprothetik Cerclage System	CCG Stabilizer with Band	XS - L	$1,290.00

6.7.3.2 Intramedullary Nail

Synthes Australia Pty Ltd

SY126	AO/ASIF Intermedullary Nails	Spiral blade	Length 20 - 150mm	$655.00

6.7.3.2.1.1 Intramedullary Nail, lower limb specific

Johnson & Johnson Medical Pty Ltd

DP900	Albizza Nail	Albizza Nail - Stainless Steel	240-320mm Length	$10,692.00

Medical & Optical Instruments Australia Pty Ltd

MO280	Acumed Fibula Rod System	Intermedullary Nail, fibula lower limb specific	3.00mm & 3.6mm diameter left and right 	$1,050.00	$1,575.00

specific rods with lengths of 110mm, 145mm,

180mm

Prostheses List by Category, Groups and Sponsor	Page 359 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

locking, Titanium

Johnson & Johnson Medical Pty Ltd

JJ672	VersaNail IM Nailing Platform	Troch Entry and Universal Femoral Nails, Titanium, 	9-13mm x 28-48CM	$2,060.00

Locking, cannulated.

Locking,cannulated,Titanium

Smith & Nephew Surgical Pty Ltd

SN522	TriGen 	Knee Nail	8.8, 10, 11.5 & 13mm diameters, 26-50cm 	$1,050.00

lengths

6.7.3.2.1.1.1 Intramedullary Nail, femur

Austofix

AX024	Austofix Femoral & Tibial Nailing System	F2 Femoral Nail 4.8/6.2; s-s	Dia 9 - 12mm; Lengths 320 - 460mm	$1,475.00

Cannulated

Synthes Australia Pty Ltd

SY041	AO/ASIF Intermedullary Nails	Femoral Nail	7.0mm-19mm dia 200-600mm length	$935.00

SY060	AO/ASIF Intermedullary Nails	Cannulated and Solid Nail - tibial / femoral	7.0mm-19mm dia 200-600mm length	$910.00

SY123	AO/ASIF Intermedullary Nails	Femoral reamed, tibial nail	9 - 19mm , length 200 - 500mm.	$649.00

Cannulated,Locking

Smith & Nephew Surgical Pty Ltd

SN502	Russel Taylor	Delta Reconstruction & Femoral Plus Nails, Stainless Steel	Left/Right 10-11 32-48mm.	$971.00

SN503	Russel Taylor	Delta Tibial & Tibial Pro Nails, Stainless Steel	8 x 27-42mm  9 x 27-36mm. 10 x 32-48mm 	$549.00

11 x 32-48mm.

Locking

Zimmer Pty Ltd

ZI523	SIRUS Nail	Sirus Femoral Nail	9, 10, 11, 12, 13mm diam x 300 to 480mm in	$1,050.00

20mm increments

Locking,cannulated,large

Smith & Nephew Surgical Pty Ltd

SN515	Russel Taylor	Reconstruction Nails, Stainless Steel	12mmx32cm -15mmx50cm.	$700.00

Prostheses List by Category, Groups and Sponsor	Page 360 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking,cannulated,Titanium

Smith & Nephew Surgical Pty Ltd

SN521	TriGen 	Nail: TAN & FAN, titanium	10, 11.5 &13mm diameter	$750.00

Locking,Titanium,Large diameter

Stryker Australia Pty Ltd

HW257	Wichita Fusion Nail System	Femoral Component -  Vitallium	18mm	$2,690.00

Locking,titanium,Paediatric

Biomet Australia Pty Ltd

BI921	EBI Paediatric Locking Nail System	Femoral Locking Nail - titanium;	28 -42cm x 5.5 - 6.5mm	$1,000.00

titanium

Johnson & Johnson Medical Pty Ltd

DP343	Femoral Nail System	Femoral Nail Titanium Sterile or Unsterile	9-15mm x 30- 50cm 	$1,740.00

DP571	Art Retrograde Nail	Femoral Nail Titanium Unsterile or Sterile	9 -12mm x 30 - 50cm	$1,740.00

Synthes Australia Pty Ltd

SY270	AO/ASIFIntramedullary Nails	Antegrade/Retrograde Femoral Nail	Diameter 6.5-18mm, Length 30-500mm	$1,030.00

6.7.3.2.1.1.2 Intramedullary Nail, supracondylar

Cannulated,Locking

Austofix

AX020	S2 Nail System	Cannulated supracondylar nail, stainless steel	11/13mm x 160-380mm	$1,050.00	$1,085.00

Smith & Nephew Surgical Pty Ltd

SN510	Russel Taylor	Intermedullary Supracondylar Nail, Stainless Steel	11mmx15cm -13mmx25cm.	$999.00

Titanium

Johnson & Johnson Medical Pty Ltd

DP929	Supacondylar Nail System	Supracondylar Titanium Nail Sterile or Unsterile	10 to 12 mm x 15-30cm	$1,210.00

Synthes Australia Pty Ltd

SY264	AO/ASIF Intermedullary Nails	Distal Femoral Nail - DFN	9-15mm / 160-420mm Length	$1,082.00

Prostheses List by Category, Groups and Sponsor	Page 361 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.2.1.1.3 Intramedullary Nail, Inter-Trochanteric

Zimmer Pty Ltd

ZI320	ITST Intramedullary Nails	Stainless Steel Intertrochanteric Nailing System	Diameter 10 - 14mm; Length 18 - 50cm	$665.00

Proximal

Synthes Australia Pty Ltd

SY262	AO/ASIF Intermedullary Nails	Femoral Nail	9-15mm dia / 120-150 deg / 170 - 500mm 	$2,060.00

Length

short,hip

Austofix

AX026	Austofix Femoral & Tibial Nailing System	F2 Hip Nail 4.8/6.5; high nitrogen s-s	Dia 11mm, Length 170mm - 240mm	$760.00

Titanium

Johnson & Johnson Medical Pty Ltd

DY326	Ace Trochanteric Nail	Trochanteric Nails Sterile in Standard or Left or Right	125 - 130 deg, 9 - 11mm, 320 - 420mm, 	$1,735.00

sterile and non-sterile

6.7.3.2.1.1.4 Intramedullary Nail, tibia

Zimmer Pty Ltd

ZI522	SIRUS Nail	Sirus Tibial Nail	8, 9, 10mm diam x 240 to 420mm in 14mm 	$1,050.00

increments

locking, Titanium

Johnson & Johnson Medical Pty Ltd

JJ674	VersaNail IM Nailing Platform	Tibial Nails, Titanium, Locking, cannulated.	8-13mm x 28.5 - 39cm	$1,350.00

Locking,cannulated

Smith & Nephew Surgical Pty Ltd

SN505	Russel Taylor	Femoral/Tibial Interlocking Nails	11mmx28.5cm - 16mmx50cm	$438.00

Locking,titanium

Smith & Nephew Surgical Pty Ltd

SN841	Trigen META	Metaphyseal Nail, Titanium	8.5-13mm15x50cm	$1,250.00

Prostheses List by Category, Groups and Sponsor	Page 362 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking,Titanium,Large diameter

Stryker Australia Pty Ltd

HW258	Wichita Fusion Nail System	Tibial Component -  Vitallium	12mm	$1,695.00

titanium

Biomet Australia Pty Ltd

BI286	Uniflex Tibial Nail	Tibial Nail, Titanium	8-14mm x 240-420mm	$950.00

Johnson & Johnson Medical Pty Ltd

DP330	Tibial Nail System 	Tibial Nail or Dynamic Tibial Nail Titanium Unsterile or 	8-13mm x 25.5-42.5cm	$1,405.00

Sterile

Synthes Australia Pty Ltd

SY128	AO/ASIF Intermedullary Nails	Tibial unreamed - steel	8 - 9 mm , length 255 - 420mm	$1,009.00

6.7.3.2.1.1.6 Intramedullary Nail, hip

Smith & Nephew Surgical Pty Ltd

SN764	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 14mm x 32 - 44cm left and right	$830.00

Cannulated,Locking

Smith & Nephew Surgical Pty Ltd

SN509	Russel Taylor	Intermedullary Hip Screw Nail (IMHS) Stainless Steel	Standard 10-16mm 21 cm length, Long 10-	$650.00

12mm Diameter Right& Left 34-42cm Length

Locking,anatomic

Smith & Nephew Surgical Pty Ltd

SN763	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 16mm x 19.5cm left and right	$760.00

Locking,titanium,special purpose

Smith & Nephew Surgical Pty Ltd

SN838	Trigen InterTAN Nail	Nail, Titanium	diameter 10-13mmlength 18-46cmAngle 	$1,350.00

125°-135°

Prostheses List by Category, Groups and Sponsor	Page 363 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.2.1.2.1 Intramedullary Nail, humerus

Device Technologies Australia Pty Ltd

DE096	Fixion IM nail - Humeral	Stainless steel	Dia 6.7 - 8.5mm (reduced), length 180 - 	$1,990.00

280mm

Cannulated,Locking

Smith & Nephew Surgical Pty Ltd

SN507	Russel Taylor	Humeral Nails	7-9 x 18-30cm	$1,140.00

Locking

Austofix

AX013	Proximal Humeral Nail	Stainless Steel	Diameter 8 mm, Length 170 mm	$1,075.00

Stryker Australia Pty Ltd

SK199	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Nail Left/Right	$2,158.00

locking, Titanium

Johnson & Johnson Medical Pty Ltd

JJ673	VersaNail IM Nailing Platform	Humeral Nails, Universal and Proximal, Titanium, Locking, 	7-10 mm x 150-280cm	$2,195.00

cannulated

Locking,titanium

Stryker Australia Pty Ltd

SK006	Stryker Trauma Locking Nail System	Titanium - Humeral Nail	Dia 7,8,9mm length 140 - 320mm	$2,195.00

titanium

Johnson & Johnson Medical Pty Ltd

DP367	Humeral Nail System	Humeral Nail Titanium Sterile or Unsterile	7-9mm x 22cm-30cm	$1,032.00

Medical & Optical Instruments Australia Pty Ltd

MO154	Polarus Proximal Humeral Fixation System	Polarus Proximal Humeral Rod Standard/Plus Titanium	150 - 300mm length	$1,925.00

Synthes Australia Pty Ltd

SY129	AO/ASIF Intermedullary Nails	Humeral Nail	6.0 - 12.0 mm length 100 - 400mm	$865.00

Titanium,Locking,cannulated

Smith & Nephew Surgical Pty Ltd

SN740	Trigen	Humeral Nail	7-11cm x 16-30cm	$660.00

Prostheses List by Category, Groups and Sponsor	Page 364 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.2.1.3.1 Intramedullary Nail, forearm or foreleg long bone

Medical & Optical Instruments Australia Pty Ltd

MO161	Polarus Humeral Rod System	Polarus Radius Rod Titanium	190 to 230mm length	$1,460.00

Locking,titanium

Biomet Australia Pty Ltd

BI248	SST Small Bone Locking Nail	Forearm Nail, Titanium	3.5mm x (180-260mm)	$1,617.00

titanium

Advanced Surgical Technologies

AD281	Micronail intramedullary radial fixation	Titanium, Distal radial nail	1, 2, 3, 4 and XL	$1,620.00

Biomet Australia Pty Ltd

BI252	SST Small Bone Locking Nail	Fibula Nail, titanium	(3.5, 4.5mm) x 150mm	$1,333.00

Medical & Optical Instruments Australia Pty Ltd

MO159	Polarus Humeral Rod System	Polarus Ulna Rod Titanium	210 to 270mm length	$1,460.00

6.7.3.2.1.3.2 Intramedullary Nail, anatomic site, other

Stryker Australia Pty Ltd

HW259	Wichita Fusion Nail System	Compression Screw -  Vitallium	One size only	$1,152.00

,Arthrodesis,cannulated,locking

Smith & Nephew Surgical Pty Ltd

SN497	Intermedullary Nailing System	Knee Fussion Nail, Stainless Steel	11x 65-75 & 12 x 65-85cm	$4,400.00

SN499	Intermedullary Nailing System	Revision, Ankle Fusion Nail	11mmx15cm -13x21cm	$1,075.00

Arthodesis

Synthes Australia Pty Ltd

SY130	AO/ASIF Arthrodesis system	Arthrodesis	26 - 240mm	$4,429.00

Flexible,Locking

Smith & Nephew Surgical Pty Ltd

SN496	Intermedullary Nailing System	Foresight Nail	4-5mm Diameter 20-26cm Length	$660.00

Prostheses List by Category, Groups and Sponsor	Page 365 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium

Surgical House

SU201	Panta Arthrodesis Nail	Ankle Nail, Titanium	Diameter 10 -13 mm Length - 150-240 mm	$1,000.00

Titanium,Arthrodesis

Smith & Nephew Surgical Pty Ltd

SN772	Trigen	Hindfoot Fusion Nail, Titanium	10 - 11.5mm Diameter	$1,195.00

6.7.3.2.1.4 Intramedullary Nail, non-specific anatomic site

Flexible

Synthes Australia Pty Ltd

SY064	Titanium Elastic Nail	1.5mm - 4.0mm	$220.00

6.7.3.2.1.4.1 Intramedullary Nail, non-specific anatomic site, < = 2mm diameter

Flexible,titanium

Johnson & Johnson Medical Pty Ltd

DP572	Nancy Nail System 	Pediatric Flexible Nail	2.0 mm x 130mm	$414.00

6.7.3.2.1.4.2 Intramedullary Nail, non-specific anatomic site, > 2mm - 4 mm diameter

Stryker Australia Pty Ltd

HW354	Metaizeau Nail	Stainless Steel	2-4mm x 400-500mm	$160.00

Flexible,titanium

Johnson & Johnson Medical Pty Ltd

DP528	Nancy Nail System	Pediatric Flexible Nail	2.5 or 3.0 mm x 190 -290mm	$431.00

DP529	Nancy Nail System	Pediatric Flexible Nail	3.5 mm x  270-350mm	$475.00

DP531	Nancy Nail System	Pediatric Flexible Nail	4.0 mm x  330-450mm	$475.00

6.7.3.2.1.4.3 Intramedullary Nail, non-specific anatomic site, > 4mm - 6 mm diameter

Locking

Synthes Australia Pty Ltd

SY416	AO/ASIF Intermedullary Nails ASLS	Intermedullary Angular Stable Locking System	4-6mm, 26-125mm	$655.00

Prostheses List by Category, Groups and Sponsor	Page 366 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.2.1.4.4 Intramedullary Nail, non-specific anatomic site, > 6 mm - 10 mm diameter

B Braun Australia Pty Ltd

BB107	BRAUN AUST Intramedullary Nails	Nail for small bones	Dia 3mm-8mm	$1,617.00	$3,200.00

6.7.3.2.1.4.5 Intramedullary Nail, non-specific anatomic site, 10 - 13 mm diameter

Austofix

AX009	Austofix Intramedullary Nail	Custom Nails, stainless steel	5-13mm	$1,350.00

B Braun Australia Pty Ltd

BB051	BRAUN AUST Intramedullary Nails	Compression Nail	100mmx10.5mm-610mmx12.5mm	$1,600.00

Device Technologies Australia Pty Ltd

DE061	Fixion Nailing System	Stainless Steel	18x 6.7mm - 440 x 12mm	$1,990.00

Arthrodesis

Johnson & Johnson Medical Pty Ltd

DY381	Versa Nail	TTC Fusion Nail Unsterile	10mm x 15cm up to 12mm x 30cm	$1,110.00

Stryker Australia Pty Ltd

SK337	Stryker Trauma Locking Nail System	Arthrodesis Nail - Knee	Arthrodesis Nail Left/Right; 11.5mm and 13mm	$5,182.00

SK450	T2 Ankle Arthrodesis Nail	T2 Ankle Arthrodesis Type II Anodized Titanium Alloy 	10, 11, 12mm Diameters & 150,200 & 	$1,700.00

(Ti6A14V)	300mm Lengths

Arthrodesis,Titanium

Johnson & Johnson Medical Pty Ltd

DY380	Versa Nail	TTC Fusion Nail Sterile	10mm x 15cm up to 12mm x 30cm	$1,245.00

Locking

Stryker Australia Pty Ltd

SK202	Stryker Trauma Locking Nail System	SCN	Diameter 11m - 14mm, Length 170mm - 	$990.00

240mm

SK214	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Nail Left/Right	$1,200.00

Titanium

Stryker Australia Pty Ltd

SK244	Stryker Intermedullary Hip Screw	Gamma3 Long	120, 125, 130 Deg; Diameter 10-13mm; 	$1,350.00

Length 280-420mm

Prostheses List by Category, Groups and Sponsor	Page 367 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK246	Gamma LN	Standard - Titanium	120, 125, 130 Deg; Diameter 10-12mm; 	$995.00

Length 170-200mm

6.7.3.2.1.4.6 Intramedullary Nail, non-specific anatomic site, 13 - 16 mm diameter

Global Manufacturing Technology Pty Ltd

GM110	OsteoBridge	Nail	7mm, 8mm, 9mm, 10mm, 12mm, 14mm, 	$4,322.00

16mm & 18mm

Locking

Stryker Australia Pty Ltd

SK465	Stryker Intermedullay Nailing System	T2 Retrograde/Antegrade/Compression Nails	7-15mmDiameter, 140 to 480mm lengths	$1,625.00

6.7.3.3 Internal Fixation Plate

Global Orthopaedic Technology

GO200	Iso-Elastic SuperCable Trochanteric Grips and Cable-	Cable Plates Titanium	6 Hole 185mm, 8 Hole Straight and Curved 	$1,450.00

Plates System	240mm, 10 Hole Straight and Curved 290mm

Stryker Australia Pty Ltd

SK449	Stryker Plating System	Locking Compression Straight Plates Stainless Steel	2 Hole to 22 Hole	$1,450.00

6.7.3.3.1 Internal Fixation Plate, anatomic site

Synthes Australia Pty Ltd

SY253	AO/ASIF Plates	Foot & hand plates - steel - titanium multiple hole	1 - 4mm	$670.00

Locking

Synthes Australia Pty Ltd

SY259	Locking Distal Radius Plate System	Small & Mini Fragment Plates - Volar Plate	LCP - Volar Plate 2.4mm Left & Right, 2.4 	$2,350.00

Volar Plates Straight

SY279	Small & Mini Fragment Plates	Locking Distal Radius Plate System	LCP Dorsal T, L, Straight Plates 2.4mm 	$1,185.00

Long/Short

SY280	Small & Mini Fragment Plates	Locking Distal Radius Ulna Column Plate System	2.0mm - 2.4mm	$1,715.00

Prostheses List by Category, Groups and Sponsor	Page 368 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking,More complex shape,periarticular,large

Smith & Nephew Surgical Pty Ltd

SN745	Peri-Loc	3.5mm & 4.5mm Locking Plate, StainlessSteel	3 - 19 Holes	$1,314.00

Periarticular,More complex shape

Smith & Nephew Surgical Pty Ltd

SN570	TC 100 Plate	Cloverleaf Plate	3-4 hole	$180.00

SN571	TC 100 Plate	Cloverleaf Plate	5-6 hole	$380.00

SN572	TC 100 Plate	Cloverleaf Plate	7-8 hole	$397.00

SN573	TC 100 Plate	Cloverleaf Plate	9 hole	$442.00

6.7.3.3.1.1 Internal Fixation Plate, lower limb specific

osteotomy

Synthes Australia Pty Ltd

SY165	LCP Plate	Tomofix Plate, Sterile/Non Sterile	Dia 5.0mm, length 2-8 hole	$1,212.00

6.7.3.3.1.1.1 Internal Fixation Plate, acetabulum, straight

Stryker Australia Pty Ltd

SK055	Matta Pelvic System	Straight acetabular plate	10-14 Holes	$368.00

SK057	Matta Pelvic System	Straight acetabular plate	15-20 Holes	$160.00

6.7.3.3.1.1.2 Internal Fixation Plate, femur

Smith & Nephew Surgical Pty Ltd

SM149	Peri-Loc PFP	Proximal Femur Locking Plate - 360L stainless steel	2H R & L 104MM, 4H R & L 144MM, 6H 	$1,800.00

R & L 180MM, 9H R & L 234MM

Stryker Australia Pty Ltd

HW330	Omega Plus Compression Hip Screw System	Hip Sideplate - Standard Barrel -  Stainless Steel	2,3,4,5 hole 130-150 degrees	$350.00

HW331	Omega Plus Compression Hip Screw System	Hip Sideplate - Short Barrel -  Stainless Steel	6,8,10,12 hole 130-150 degrees	$675.00

Synthes Australia Pty Ltd

SY107	AO/ASIF Plates - Steel	DCS DHS plate	95 - 150 degree, 2 - 22 hole, length 25 - 	$1,215.00

38mm barrel

Prostheses List by Category, Groups and Sponsor	Page 369 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression,large

Smith & Nephew Surgical Pty Ltd

SN137	TC 100	Plate: Broad Compression	4.5mm, 6 - 8 holes	$138.00

SN557	TC 100 Plate	4.5mm Broad Compression Plate	14-18 hole	$270.00

kit

Zimmer Pty Ltd

ZI471	NCB Plates	Polyaxial locking plates, special titanium alloy	Plate size 60 to 324mm long	$2,000.00

large,More complex shape,Locking

Synthes Australia Pty Ltd

SY376	LCP Plate	Broad Curved Plate or Proximal Femur Plate	2-26 Hole	$1,800.00

large,Periarticular

Zimmer Pty Ltd

ZI154	Periarticular Plates	Periarticular Femoral Condylar Plates - Stainless Steel	4 holes - 18 holes Left & Right	$1,211.00

locking, compression

Johnson & Johnson Medical Pty Ltd

JJ737	Compression Hip Screw System	Compression hip screw plate, stainless steel	25-38mm, 2-16 holes, 95-150 degrees	$1,215.00

Locking,Distal

Stryker Australia Pty Ltd

SK377	Stryker Plating System	SPS Locking Plate System	Distal Femur - 4 holes to 16 holes, Left and 	$1,500.00

Right

Osteotomy

Smith & Nephew Surgical Pty Ltd

SN022	Osteotomy Plates	Blade, Adult osteotomy 4 hole	40 - 80mm	$983.00

Surgical House

SU181	Newdeal Femoral Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only with 	8/9/10 hole, left and right	$1,400.00

Newdeal screws/lock screws

SU182	Newdeal Distal Femoral Varus Osteotomy Plate	Composition - 316L Stainless Steel. To be used only with 	One size only	$1,150.00

Newdeal screws/lock screws

Prostheses List by Category, Groups and Sponsor	Page 370 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU183	Newdeal Femoral Varus and De-rotation Osteotomy 	Composition - 316L Stainless Steel.  To be used only with 	Newdeal Femoral Varus and De-rotation 	$962.00

Plates	Newdeal screws/lock screws	Osteotomy Plates - 3 holes, Newdeal

Femoral Varus and De-rotation Osteotomy

Plates - 4 holes, Newdeal Reinforced Femoral

Newdeal and De-rotation Osteotomy Plates -

left and right

Periarticular

Stryker Australia Pty Ltd

SK219	Stryker Plating System	Periarticular Plates	2 - 18 holes, 3.5 - 6.5mm Diameter	$1,004.00

Periarticularlarge

Synthes Australia Pty Ltd

SY118	AO/ASIF Plates	4.5mm, head buttress plate lateral tibial left & right	5 - 15 hole	$1,246.00

Periarticular,large,Locking

Synthes Australia Pty Ltd

SY164	LCP Plate	Distal Femoral Buttress Plate, Sterile/Non Sterile	Dia 5.0mm, length 4-22 hole	$1,854.00

Titanium, Compression, Locking

Johnson & Johnson Medical Pty Ltd

JJ681	Polyax Plating System	Distal Femoral Locking Plate, Titanium	6-18 holes	$2,000.00

6.7.3.3.1.1.3 Internal Fixation Plate, femoral condyle

Johnson & Johnson Medical Pty Ltd

DP610	Small / Large  Fragment Set S/S	Femoral Condylar Plate	4-8 Hole   	$475.00

Stryker Australia Pty Ltd

SK463	Stryker Compression Hip Screw System	Omega3 Supracondylar Plate	95 hole, 6-14 hole, 111-239mm	$875.00

large

Synthes Australia Pty Ltd

SY121	AO/ASIF Plates	4.5mm condylar, angled plate	4-22 hole	$1,200.00

Prostheses List by Category, Groups and Sponsor	Page 371 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.1.1.4 Internal Fixation Plate, Trochanteric

Johnson & Johnson Medical Pty Ltd

DP670	Small / Large Fragment Set S/S	Tronchanteric Support Plate	Small-Large	$503.00

Synthes Australia Pty Ltd

SY030	AO/ASIF Plates	Steel, DHS plates	130-150 deg/ 2-16 hole / 43-27mm length / 	$875.00

barrel 25 - 38mm

SY053	AO/ASIF Plates	DHS/DCS plate	125-160deg 2-28 hole	$484.00

compression,large

Smith & Nephew Surgical Pty Ltd

SN078	TC 100 4.5mm Broad Compression plates	Sterile, 20 - 26 holes	326 - 423mm	$320.00

large,More complex shape

Smith & Nephew Surgical Pty Ltd

SN577	TC 100 Plate	Hook Plate	123mm 4 hole	$330.00

More complex shape,Large

Synthes Australia Pty Ltd

SY038	AO/ASIF Plates	DHS trochanteric stabilizing plate sterile	3-16 hole	$680.00

6.7.3.3.1.1.5 Internal Fixation Plate, tibia

Medical & Optical Instruments Australia Pty Ltd

MO192	Acumed Congruent Plate System	Malleolar plate - titanium	Medial, anterior, lateral 5 hole, lateral 7 hole	$552.00

Synthes Australia Pty Ltd

SY163	LCP Plate	Tibial Plate, Sterile/Non Sterile	1 - 24 hole	$1,854.00

Zimmer Pty Ltd

ZI132	NexGen Knee High Tibial Osteotomy System	Plate - Ti	1 - 10	$632.00

compression,large

Smith & Nephew Surgical Pty Ltd

SN132	TC 100 4.5mm Narrow Compression plates	Sterile, 11 - 13 holes	183 - 215mm	$180.00

Prostheses List by Category, Groups and Sponsor	Page 372 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression,periarticular,more complex shape

Smith & Nephew Surgical Pty Ltd

SN102	TC 100	Plate: T - plate with provisional fixation holes	50 - 148mm	$215.00

SN103	TC 100 Bone Plates with provisional fixation holes	T-Plate Right angled	50 - 67mm	$310.00

SN116	TC 100 2.7mm T-plates	Sterile	One size only	$83.00

SN119	TC 100 4.5mm T-plate	Sterile, 3 - 4 holes	68 - 84mm	$147.00

compression,Periarticular,more complex shape,mediu

Smith & Nephew Surgical Pty Ltd

SN135	TC 100 95 Degree Condylar Plates	Small stature	Shaft length 92 - 299 mm, blade length 50 - 	$360.00

80mm

SN136	TC 100 Small T-Plates	Sterile, right angled and oblique	3 - 4 holes in head, 3 - 6 holes in shaft	$102.00

distal part,Locking,More complex shape,large

Synthes Australia Pty Ltd

SY162	LCP Plate	Distal Tibial Plate, sterile/non-sterile	Dia 3.5 - 5.0mm, length 4-24 hole	$1,800.00

Locking

Stryker Australia Pty Ltd

SK368	Stryker Plating System	SPS Locking Plate System	Distal Medial and Lateral tibia  3 Holes to 10 	$1,450.00

Holes left and right

SK383	Stryker Plating System	SPS Locking Plate System	Proximal Tibia, Lateral and Medial, 4 hole to 	$1,450.00

12 holes, left and right

more complex shape,large

Smith & Nephew Surgical Pty Ltd

SN080	TC 100 4.5mm T-plate	Sterile, 5 - 8 holes	100 - 148mm	$204.00

Osteotomy

Advanced Surgical Design & Manufacture Ltd

AE036	Opening Wedge Tibial Ostectomy Plate	Titanium	6mm - 20mm	$975.00

Johnson & Johnson Medical Pty Ltd

DP042	Chandler Plate	Tibial Osteotomy Plate -Stainless Steel	50-70mm	$1,165.00

Prostheses List by Category, Groups and Sponsor	Page 373 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI398	High Tibia Osteotomy	High Tibia Osteotomy - Ti alloy	L shaped steel alloy plate;  Standard & Long	$964.00

Osteotomy,large

Synthes Australia Pty Ltd

SY104	AO/ASIF Plates	Osteotomy plate - high tibial	95 deg condylarprox tibia , 50-60 mm, displ 	$1,043.00

15-20mm

Periarticular

Smith & Nephew Surgical Pty Ltd

SN065	TC 100 4.5mm T-Buttress plates	Sterile, 4 - 6 holes	80 - 112mm	$170.00

Zimmer Pty Ltd

ZI153	Periarticular Plates	Periarticular Tibial Plateau Plates - Stainless Steel	2 holes - 14 holes Left & Right	$1,219.00

Periarticular,large,proximal

Synthes Australia Pty Ltd

SY023	AO/ASIF Plates	Steel, left & right, lateral, proximal, tibial, buttress, 4.5mm 	3-13 hole	$831.00

lateral tibial

Periarticular,compression,large,more complex shape

Smith & Nephew Surgical Pty Ltd

SN581	TC 100 Plate	Lateral Tib Head Buttress Plate	3-7 hole Left & Right	$450.00

SN582	TC 100 Plate	Lateral Tib Head Buttress Plate	9-13 hole Left & Right	$518.00

Periarticular,large,more complex shape

Smith & Nephew Surgical Pty Ltd

SN578	TC 100	Plate: Spoon &  L-Buttress	3 - 18 holes	$160.00

Titanium, Compression, Locking

Johnson & Johnson Medical Pty Ltd

JJ686	Polyax Plating System	Proximal Tibial Locking Plate, Titanium	2-14 holes	$1,800.00

Titanium, compression, locking, More complex shape

Johnson & Johnson Medical Pty Ltd

JJ729	ALPS Anatomic Locked plating system	Anterolateral and Medial Distal Tibial Anatomic Locking 	5-10 holes	$1,800.00

Plate, Titanium

Prostheses List by Category, Groups and Sponsor	Page 374 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ730	ALPS-Anatomic Locked Plating system	Anterolateral and Medial Distal Tibial Anatomic Locking 	11-20 holes	$1,800.00

Plate, Titanium

6.7.3.3.1.1.6 Internal Fixation Plate, fibula

Medical & Optical Instruments Australia Pty Ltd

MO193	Acumed Congruent Plate System	Fibula guide plate - titanium	3 - 7 hole	$550.00

Titanium

Johnson & Johnson Medical Pty Ltd

DP905	Periarticular Plating System	Fibula Composite Plate - Titanium  	5 Hole	$317.00

DP912	Periarticular Plating System	Fibula Composite Plate - Titanium  	11 Hole 	$397.00

DP913	Periarticular Plating System	Fibula Composite Plate - Titanium  	7 Hole 	$360.00

DP914	Periarticular Plating System	Fibula Composite Plate - Titanium  	9 Hole 	$383.00

6.7.3.3.1.1.7 Internal Fixation Plate, calcaneus

Darco Australia

DC003	Calcaneus Plate	Titanium locking plate specifically designed to have low 	3.5mm universal sizing (R&L): S - 54mm, M -	$1,275.00

profile (1.5mm thick) for easy contouring	 64mm & L - 74mm

Medical & Optical Instruments Australia Pty Ltd

MO278	Acumed Locking Calcaneal Plates	Locking Plate, Calcaneal, Titanium	Small, Medium & Large, Left & Right	$1,209.00	$1,680.00

Stryker Australia Pty Ltd

SK094	Stryker Plating System Small Fragment Set	Calcaneal Plate	70-80mm	$605.00

ST017	Stryker Plating System Small & Basic Fragment - 	Stainless Steel or Titanium	50-60mm	$380.00

Calcaneal Plate

Surgical House

SU194	Calcanea, Calcaneal Fracture Plate	Titanium	Small, Medium, Large	$1,275.00

Locking,More complex shape,large

Synthes Australia Pty Ltd

SY188	AO/ASIF Plates	Calcaneal, Locking	3.5mm, 30 - 100mm	$1,209.00

Prostheses List by Category, Groups and Sponsor	Page 375 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

More complex shape,Large

Synthes Australia Pty Ltd

SY017	AO/ASIF Plates	3.5mm calcaneal	Length 60 - 70mm	$752.00

Periarticular,More complex shape

Smith & Nephew Surgical Pty Ltd

SN569	TC 100 Plate	Calcaneal Plate Sterile	60mm,70mm & 9 hole	$420.00

Titanium

Johnson & Johnson Medical Pty Ltd

DP888	Calcaneal Periarticular Plate	Calcaneal Periarticular Plate - Titanium	Extra small to Ex Large	$530.00

DP904	Periarticular Plating System	Plate Calcaneal  - Titanium	Small - Large	$528.00

6.7.3.3.1.1.8 Internal Fixation Plate, foot

Darco Australia

DC001	Locking Plate	Titanium locking plates anatomically contoured for forefoot 	2.7mm; neutral, 3-7mm spacer; 18-24mm 	$450.00

and midfoot osteotomies. Unique spacer widths in 1mm 	length, 3.5mm; neutral, 2-8mm spacer; 12-

increments allow for controlled and maintained correction.	30mm length

DC002	Lapidus Plate	Titanium locking plate with unique stepped displacement in 	3.5mm: neutral, 1-6mm step	$510.00

1mm increments permits accurate plantarisation and

lateralisation in midfoot fusions.

DC026	Rearfoot Plate - RPS	Unique extended plate geometry for plating complex 	6 hole - 37mm, 8 hole - 50mm, 14 hole - 66mm	$750.00

rearfoot reconstructions, uses 3.5mm locked screws for

optimal bone purchase.

Device Technologies Australia Pty Ltd

DE285	Lapidus Plate	The Lapidus Plate is a fusion plate	One size only	$650.00

LMT Surgical Pty Ltd

LM062	ArgoMedical Pedofix	Titanium fixed angle plate for foot surgery	2.7mm	$650.00

LM068	Normed fracture fixation plates	Titanium plates, various sizes and shapes	Various	$450.00	$650.00

Medical & Optical Instruments Australia Pty Ltd

MO150	Acumed Congruent Plate System	Foot & Ankle Plate, Titanium	4 to 9 Hole	$470.00

Prostheses List by Category, Groups and Sponsor	Page 376 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.1.1.9 Internal Fixation Plate, Metatarso phalangeal

Advanced Surgical Technologies

AD314	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, small & standard	$600.00

AD317	Charlotte MTP Fusion System	MTP plate, stainless steel, SLIM LINE	Left & right	$730.00

Darco Australia

DC018	MPJ Fusion Plate	Titanium locking plate with built-in 1- degree valgus angle 	S, M, L	$600.00

for anatomic fixation of 1st MTP joint

Device Technologies Australia Pty Ltd

DE287	Low Profile MTP Plate	Arthrodesis Plate	Contoured Left Short, Contoured Right Short,	$600.00

Contoured Left Long, Contoured Right Long

Medical & Optical Instruments Australia Pty Ltd

MO191	Acumed Congruent Plate System	Metatarsal osteotomy plate - titanium	Right, left	$465.00

Orthotech Pty Ltd

OH339	Fyxis plate	Foot plate	40-55mm	$720.00

Surgical House

SU169	Hallu-Fix Plates	Composition - titanium, Hallu-C Plate: left and right, Hallu-	Hallu-C Plate left and right 40,45,50mm; 	$654.00

S Plate: left and right	Hallu-S Plate right 50,55mm, left 60mm

SU193	Basal Osteotomy Plate	Titanium	5 Deg, Left and Right, 10Deg, Left and Right	$460.00

SU207	B-BOP Plantar Basal Osteotomy Plate (Sterile)	Titanium	Moderate Correction(5°) Left, Right. Severe 	$460.00

Correction (10°) Left, Right

large

Advanced Surgical Technologies

AD315	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, extended	$730.00

Prostheses List by Category, Groups and Sponsor	Page 377 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.1.2 Internal Fixation Plate, upper limb specific

Medical & Optical Instruments Australia Pty Ltd

MO279	Anatomic Midshaft Forearm Plates	Internal Fixation Plate Anatomic Forearm, Ulna & Radius	Midshaft Ulna Plates: 6 hole(80mm), 8 hole 	$1,450.00

(100mm), 10 hole (130mm) 12 hole

(160mm); Midshaft Dorsolateral Radius

Plates: 6 hole (80mm), 8 hole (100mm), 10

hole 9130mm) 12 hole (160mm); Midshaft

Volar Radius Plates: 6 hole (80mm), 8 hole

(100mm), 10 hole (130mm), 12 hole

(160mm)

Synthes Australia Pty Ltd

SY100	AO/ASIF Plates	4.5mm Hook Plate	3-12 hole	$530.00

Locking

Smith & Nephew Surgical Pty Ltd

SN831	Peri-Loc UE	Locking plates SS: Distal Radius, Olecrannon, Humerus, 	2.5-4.5mm, 3-14 holes	$1,500.00

Clavicle

6.7.3.3.1.2.1 Internal Fixation Plate, humerus

ESKA Australia

EK072	ESKA Modular Shoulder System	Humeral Plate	35mm - 43mm	$1,285.00

Medical & Optical Instruments Australia Pty Ltd

MO243	Polarus Proximal Humeral Plate	Titanium Humeral Plate	Left, Right, Large, Small, Two Part	$1,470.00

Stryker Australia Pty Ltd

SK381	Stryker Plating System	Stryker locked plating system	Distal Humerus, Lateral and Medial, 1-8 holes	$1,400.00

Surgical House

SU180	Newdeal Distal Humeral Plates	Composition - 316L Stainless Steel.  To be used only with 	Left and right	$890.00

Newdeal screws/lock screws

SU184	Newdeal Proximal Humeral Plate	Composition - 316L Stainless Steel. To be used only with 	'6 - 8 holes'	$948.00

Newdeal screws/lock screws

Prostheses List by Category, Groups and Sponsor	Page 378 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking

Stryker Australia Pty Ltd

SK379	Stryker Plating System	SPS Locking Plate System	Proximal Humerus 3 Holes to 10 Holes Left 	$1,400.00

and Right

locking,More complex shape

Synthes Australia Pty Ltd

SY284	LCP Plate	LCP Distal humerus plate, dorso-lateral, left and right, non 	2-20 hole plates	$1,308.00

sterile/sterile; LCP Distal humerus plate, dorso-lateral with

support, left and right, non sterile/sterile; LCP Distal

humerus plate, medial, left and right, non sterile/sterile

Locking,More complex shape,large

Synthes Australia Pty Ltd

SY166	LCP Plate	Locking Proximal Humeral Plate, sterile/non sterile	Dia 3.5mm, length 3-12 hole	$1,376.00

More complex shape,Titanium

Johnson & Johnson Medical Pty Ltd

DP869	Bridge Plates	Bridge P.F.P. Femoral  / Humeral	90 and 140-170mm	$1,112.00

Titanium

Johnson & Johnson Medical Pty Ltd

DP613	Small / Large  Fragment Set	Humeral and Radial Plate Titanium Various	Wide - Narrow - Long - Extra Long	$329.00

JJ624	HI S3 Shoulder Fixation System	S3 Shoulder Plate	 3 Hole, Left & Right & 4 Hole, Left & Right	$1,400.00	$2,242.00

JJ625	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	6 - 8 Hole, Left & Right	$1,470.00	$2,378.00

JJ626	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	11 - 14 Hole, Left & Right	$1,450.00	$2,709.00

6.7.3.3.1.2.2 Internal Fixation Plate, shoulder

Osteotomy

Synthes Australia Pty Ltd

SY153	AO/ASIF Plates - Steel	Osteotomy plate - shoulder	Dislocation 80-90 deg.  blade length 35 - 40mm	$920.00

Prostheses List by Category, Groups and Sponsor	Page 379 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.1.2.3 Internal Fixation Plate, Olecranon

Medical & Optical Instruments Australia Pty Ltd

MO194	Acumed Congruent Plate System	Elbow plate - titanium	Epicondyle, Ulna Olecranon, Coronoid, 	$1,308.00

Posterior, Radial Head, Small, Medium, Long,

Extra Long, 10-Hole, Standard

Locking

Medical & Optical Instruments Australia Pty Ltd

MO272	Acumed Tap-Loc	Variable angle locking plate system	medial; left and right, lateral Olecranon Left 	$1,550.00

and right 6-20 holes

Stryker Australia Pty Ltd

SK499	Stryker Locking Plate system	Variable angle locking plate for olecranon fractures	4-8 hole	$1,308.00	$1,550.00

Locking,More complex shape,large

Synthes Australia Pty Ltd

SY283	LCP Plate	LCP  Olecranon Plate, left and right, non sterile/sterile	2-20 hole plates	$1,308.00

6.7.3.3.1.2.4 Internal Fixation Plate, Radius, distal

Johnson & Johnson Medical Pty Ltd

DY386	Hoffman Wrist Kit	Hoffman Sterile Wrist Kit	One size only	$1,565.00

Lifehealthcare Pty Ltd

LH248	SCS Distal Radius Plate System	Left and Right, Tined	Small, Large	$1,140.00

LH331	RadioFix	Radio Fixator System	One size	$2,080.00	Tempory approval, pending review of product

group

Prostheses List by Category, Groups and Sponsor	Page 380 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH419	SBi Precise SD Distal Volar Plate	An anatomically contoured locking titanium plate and 	Left Distal Volar Plate, 22 x 52mm (Narrow)	$2,350.00

titanium alloy screw/peg system intended for fixation of

distal radius fractures via open reduction	Left Distal Volar Plate, 25 x 52mm (Standard)

Left Distal Volar Plate, 22 x 75mm (Narrow-

Long)

Left Distal Volar Plate, 25 x 75mm

(Standard-Long)

Right Distal Volar Plate, 22 x 52mm (Narrow)

Right Distal Volar Plate, 25 x 52mm

(Standard)

Right Distal Volar Plate, 22 x 75mm

(Narrow-Long)

Right Distal Volar Plate, 25 x 75mm

(Standard-Long)

LMT Surgical Pty Ltd

LM002	TriMed Wrist Fixation System	Plates, Stainless Steel	Radial and Ulna pin plate -  3 hole, 5 hole, 7 	$915.00	$950.00

hole;  L plate - left and right

Medical & Optical Instruments Australia Pty Ltd

MO257	Acu-Loc Distal Radius Plate System	Distal radius plate, titanium	Volar, Dorsal, Distal Ulna, Standard, Long, 	$1,675.00

Extra long, wide, narrow, left, right, extra-

articular

Orthopaedic Solutions Pty Ltd

OE014	CoverLoc Volar Plate	A stainless steel volar plate system intended for fixation of 	'22mm x 3, 4 & 8 hole left & right 25mm x 3 	$2,350.00

fractures and osteotomies involving the distal radius. The 	& 4 hole left & right

CoverLoc feature is unique and allows both compression

and lagging with fixed angle screws.

Stryker Australia Pty Ltd

SK366	Universal Distal Radius System	Universal SMARTLook Locking Plates	Standard, Narrow and Wide in Long and 	$1,450.00

short options

SK391	Leibinger Universal Distal radius System	Universal Distal Radius SMARTLock Column Locking 	Radial Column - Long and Short; Ulna 	$1,350.00

Plates	Column - Long and Short, Left and Right

SK454	VariAx Plate	Volar Plate, Polyaxial Locking	Narrow & Standard; Short & Long; Right & 	$2,350.00

Left

Prostheses List by Category, Groups and Sponsor	Page 381 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Hybrid Nail Plate

Johnson & Johnson Medical Pty Ltd

JJ620	Distal Radius Fracture Repair System	DNP, dorsal nail plate, titanium	Standard, left & right	$1,180.00	$1,220.00

Locking

Energy Orthopaedics Pty Ltd

EO009	Aptus Radius Locking plates	Aptus Radius Locking plates (fracture plate, correction 	2.5mm locking plates, 1.6mm thickness, left 	$1,450.00

plate volar, correction plate long volar, correction plate with	and right

flap volar, correction plate long with flap volar, frame plate

volar, frame plate long volar, H plate dorsal

Locking,Titanium

Johnson & Johnson Medical Pty Ltd

JJ618	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, titanium	Standard, left & right	$1,270.00

JJ619	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, titanium	Narrow, wide, short, narrow-left & right	$1,450.00

6.7.3.3.1.2.6 Internal Fixation Plate, condylar

Johnson & Johnson Medical Pty Ltd

DP689	Small / Large Fragment Set S/S	Condylar Plate & Mini Condylar Plate	All sizes	$178.00

Stryker Australia Pty Ltd

HW332	Omega Plus Compression Hip Screw System	Supracondylar Sideplate -  Stainless Steel	6,8,10,12,14 holes	$570.00

Synthes Australia Pty Ltd

SY046	AO/ASIF Plates	condylar plate	2.0mm - 2.7mm	$376.00

SY105	AO/ASIF Plates - Steel	Condylar & small condylar, angled plate	5 - 24 hole, blade length 50 - 90mm, 95 	$974.00

degree

SY113	AO/ASIF Plates	2.0mm condylar	Left & right	$420.00

compression,Periarticular

Smith & Nephew Surgical Pty Ltd

SN107	TC 100 4.5mm Condylar Buttress plates	Sterile,  right, 11 - 15 hole	221 - 285mm	$480.00

SN126	TC 100 4.5mm Condylar Buttress plates	Sterile, Left and right,  7 - 9 hole	158 - 190mm	$451.00

Prostheses List by Category, Groups and Sponsor	Page 382 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression,Periarticular,more complex shape,mediu

Smith & Nephew Surgical Pty Ltd

SN134	TC 100 3.5mm Reconstruction plates	Sterile, Straight 16 - 22 holes	190 - 263mm	$380.00

Periarticular

Smith & Nephew Surgical Pty Ltd

SN068	TC 100	Plate: Condylar	1.5mm, 2.0mm &2.7mm	$190.00

6.7.3.3.1.2.7 Internal Fixation Plate, wrist

Lifehealthcare Pty Ltd

LH250	Diamond Plate/Carpal Button	Carpal Fusion Plate	Large, Small	$2,092.00

LMT Surgical Pty Ltd

LM033	Trimed Wrist Fixation System, Volar Peg Plate	Stainless Steel	Volar Peg Plate 3-hole, Right & Left, 4 and 5 	$1,300.00

Peg; Volar Peg Plate 5-hole, Right & Left, 4

and 5 Peg

LM037	Trimed Bearing Plate	The Bearing Plate is a stainless Steel plate that has stainless 	3 - 9 holes	$1,450.00

Steel pegs and Screws for Fixation

Medical & Optical Instruments Australia Pty Ltd

MO208	Acumed Bone Plate	Wrist Fusion Plate - Titanium	Standard, Mini	$2,092.00	$2,200.00

Synthes Australia Pty Ltd

SY037	AO/ASIF Plates	Wrist fusion plate - standard bend, short bend, straight	2-28 hole	$1,456.00

more complex shape

LMT Surgical Pty Ltd

LM008	Spider and Mini-Spider Limited Wrist Fusion System	Stainless Steel	8 hole spider plate, 6 hole mini-spider plate	$2,200.00

6.7.3.3.1.2.8 Internal Fixation Plate, MCP fusion

Medical & Optical Instruments Australia Pty Ltd

MO202	Acumed Bone Plate	MCP Fusion Plate - Titanium	4 Hole left and right	$572.00

Prostheses List by Category, Groups and Sponsor	Page 383 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.1.3 Internal Fixation Plate, anatomic site, other

Smith & Nephew Surgical Pty Ltd

SN574	TC 100 Plate	Cobra Head Plate	8-11 hole	$433.00

6.7.3.3.1.3.2 Internal Fixation Plate, clavicle

Medical & Optical Instruments Australia Pty Ltd

MO211	Accumed Congruent Plate System	Clavicle Plate - Titanium	Small, Medium, Large, J-Shape, Left, Right	$1,386.00

6.7.3.3.1.3.4 Internal Fixation Plate, pelvis

compression,More complex shape

Smith & Nephew Surgical Pty Ltd

SN075	TC 100	Plate: Reconstruction	3.5mm & 4.5mm, 10 - 15 holes	$270.00

SN076	TC 100	Plate: Curved Reconstruction	3.5mm, 10 -18 holes	$260.00

More complex shape,compression

Smith & Nephew Surgical Pty Ltd

SN098	TC 100 4.5mm Reconstruction plates	Sterile, 14 - 16 holes	221 - 253mm	$295.00

more complex shape,compression,large

Smith & Nephew Surgical Pty Ltd

SN133	TC 100 4.5mm Narrow Compression plates	Sterile, 8 - 10 holes	135 - 167mm	$102.00

SN143	TC 100 4.5mm Reconstruction plates	3 - 9 holes	45 - 141mm	$183.00

more complex shape,compression,medium,small

Smith & Nephew Surgical Pty Ltd

SN109	TC 100 3.5mm Reconstruction plates	Sterile, Straight 4 - 8 holes	46 - 94mm	$170.00

6.7.3.3.1.3.5 Internal Fixation Plate, anatomic site, other

Biomet Australia Pty Ltd

BI843	EBI XFIX DynaFix System	Plate, VS Osteotomy  Ti	4 hole, 6 hole	$975.00

Complex shape, Titanium, Locking

Johnson & Johnson Medical Pty Ltd

JJ785	ALPS Hand Fracture System - Locking Plate	Locking plates, titanium, various shapes	1.0mm - 2.5mm locking plates	$1,314.00

Prostheses List by Category, Groups and Sponsor	Page 384 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression

Smith & Nephew Surgical Pty Ltd

SN071	TC 100 4.5mm Narrow Compression plates	Sterile, 2 - 4 holes	39 - 71mm	$79.00

SN093	TC 100 Bone Plates with provisional fixation holes	4.5mm Narrow Compression	8 - 10 hole	$113.00

SN108	TC 100	Plate: Broad Compression	4.5mm, 3 - 10 holes	$165.00

SN118	TC 100 3.5mm Small Fragment (Compression) plates	Sterile, 8 - 12 hole	97 - 145mm	$123.00

SN131	TC 100 4.5mm Narrow Compression plates	Sterile, 14 - 24 holes	231 - 390mm	$225.00

large,compression

Smith & Nephew Surgical Pty Ltd

SN782	Peri-Loc	Plates, Stainless Steel, Non-Locking, Narrow, Lefts & 	4.5mm	$407.00

Rights

SN783	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, Left & Rights	4.5mm. 6-16 hole	$320.00

SN784	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, Left & Rights	4.5mm. 18-22 hole	$433.00

large,locking

Smith & Nephew Surgical Pty Ltd

SN800	Peri-Loc	Plates, Stainless Steel, Non-Locking, Reconstruction, Lefts	3.5mm, 4-10 holes	$231.00

and Rights

SN801	Peri-Loc	Plates, Stainless Steel, Non-Locking, Reconstruction, Lefts	3.5mm, 12-14 holes	$340.00

and Rights

Locking,large,reconstruction

Smith & Nephew Surgical Pty Ltd

SN829	Peri-Loc UE	2.7mm Locking Recon Plate 6-14 Holes	48mm - 113mm	$1,314.00

more complex shape

Smith & Nephew Surgical Pty Ltd

SN081	TC 100 2.0mm H-plates	Sterile	One size only	$108.00

SN083	TC 100 2.0mm T-plates	Sterile, 9 hole shaft	3 - 4 holes	$155.00

SN087	TC 100 Semi Tubular plates	8 - 12 holes	135 - 199mm	$70.00

SN088	TC 100	Semi Tubular plates	2 - 7 holes	$56.00

Prostheses List by Category, Groups and Sponsor	Page 385 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN104	TC 100	1/3 Tubular Plate with Collar	3 - 10 Hole	$46.00

SN130	TC 100 3.5mm One Third Tubular plates	Sterile, 9 - 12 holes	109 - 145mm	$58.00

SN542	TC 100 Plate	Multifragment Plates	One size only	$113.00

More complex shape,Osteotomy

Synthes Australia Pty Ltd

SY103	AO/ASIF Plates	Osteotomy plate - infant	Child, toddler & infant, 115 deg bifurcated, 	$302.00

blade 25 - 45mm, 80 - 100 deg, 4 - 8mm

offset, displ 7 - 12mm, height 49- 54mm

Osteotomy

LMT Surgical Pty Ltd

LM064	TriMed Ulnar Osteotomy System	Stainless Steel Ulnar Osteotomy Plate	5 - 9 holes	$900.00

Osteotomy,More complex shape

Synthes Australia Pty Ltd

SY040	AO/ASIF Plates	Osteotomy plate - adult 	4 Hole /blade 40 - 110mm / 90-130 deg	$854.00

SY101	AO/ASIF Plates	Osteotomy Plate - Adult / LC angle blade / cannulated 	4 hole, 5-6 hole/30-40mm blade length/ 90 - 	$453.00

angle blade	100 deg, 10- 20 mm displacement

SY102	AO/ASIF Plates	Osteotomy plate - adolescent	90 deg, blade 40 - 60mm, displ 10 - 15mm	$278.00

Periarticular,More complex shape

Smith & Nephew Surgical Pty Ltd

SN073	TC 100	L - Plates & T - Plates	2.0mm & 2.7mm	$75.00

6.7.3.3.2 Internal Fixation Plate, general, small fragment

Synthes Australia Pty Ltd

SY016	AO/ASIF Plates	 3.5mm cloverleaf	3-6 hole, length 104mm	$674.00

SY033	AO/ASIF Plates 	 4.5mm semi tubular	2 - 28 hole	$165.00

SY059	AO/ASIF Plates	Unilock, angled, straight, T, Y, condylar, DCP, LCDCP, 	2mm - 50mm	$1,545.00

left & right, mandible and locking plates

SY112	AO/ASIF Plates	Plate	1.0mm - 2.7mm	$402.00

Prostheses List by Category, Groups and Sponsor	Page 386 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression

Synthes Australia Pty Ltd

SY029	AO/ASIF Plates 	straight & shaped plate	2.0mm - 2.7mm, 2 - 50 hole	$369.00

more complex shape

Synthes Australia Pty Ltd

SY019	AO/ASIF Plates	Steel, left & right, 4.5mm T & L plate, 4.5mm 	3-12 hole	$389.00

Titanium, compression, locking, More complex shape

Johnson & Johnson Medical Pty Ltd

JJ718	ALPS - Anatomic Locked Plating System	Titanium locking spider plates	Small - large and offset	$550.00

6.7.3.3.2.1 Internal Fixation Plate, general, small fragment, 1-4 holes

Aus Systems Pty Ltd

AU001	Aus Systems Titanium Miniplates (Bone Plates)	2hole x 2hole Strip Plate Stiff	1.2mm profile, 4, 6, 8mm length between 	$56.00	Only to be funded where used in a service for

inner holes	which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

DP692	Small / Large Fragment Set S/S	Cloverleaf Plate Stainless Steel     	3-4 Hole	$204.00

DP696	Small / Large Fragment Set S/S	Plates - Mini T or L, Oblique, Straight	2.0mm or 2.7mm with 2-12 Hole	$31.00

Stryker Australia Pty Ltd

ST786	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, straight plate, 	4 holes	$320.00

Titanium

ST788	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, curved plate, 	4 holes	$330.00

Titanium

3 plates & 6 screws

Stryker Australia Pty Ltd

ST065	Cross Slot 2.0mm Quik Flap System	Kit contains three titanium 2-hole plates and six titanium 	2 hole plate. 4.0mm length screw	$407.00

low profile bone screws

3 plates & 6 screws,includes screws

Stryker Australia Pty Ltd

SR041	Universal Quik Flap System	Sterile pack containing, 3 x Titanium 2 hole Plates, 6 x self-	.	$552.00

tapping screws 1.5 x 4mm

Prostheses List by Category, Groups and Sponsor	Page 387 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

3 plates,includes screws

Stryker Australia Pty Ltd

SR040	Universal Quick Flap System	Sterile pack containing 3 x Titanium 2 hole plates, 6 x Viper	.	$552.00

self drilling 1.5 x 4mm screws

More complex shape

Smith & Nephew Surgical Pty Ltd

SN129	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	H-Plates 4 holes	$100.00

Stryker Australia Pty Ltd

ST738	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, fixation, 	1.7mm system, 2x2 holes	$267.00

3D plate, titanium

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ709	ALPS - Anatomic Locked Plating System	3.5MM Titanium 100° Tubular Plate	1-4 holes	$300.00

6.7.3.3.2.2 Internal Fixation Plate, general, small fragment, 5-10 holes

Advanced Surgical Design & Manufacture Ltd

AE084	Titan Plate & Screw System	Straight Plate	1 Plate	$148.00

Johnson & Johnson Medical Pty Ltd

DP675	Small / Large Fragment Set S/S	Broad Bone Plate Stainless Steel 	3-6 Hole for 1.5mm	$149.00

DP678	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm with 2 - 12 Hole	$98.00

DP695	Small / Large Fragment Set S/S	Y-Plate Stainless Steel           	2 + 2 + 4 or 4 + 4 + 4 Slots	$184.00

DP705	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 3-12 Hole	$228.00

DP719	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 3-8 Hole	$209.00

DP741	Small / Large Fragment Set S/S	Broad DCP Plate	6 to 10 Hole	$161.00

Smith & Nephew Surgical Pty Ltd

SN001	TC 100 Quarter Tubular plates (2.7mm cortex screws)	Sterile	23 - 63mm	$42.00

SN006	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	Straight 3-6 holes, T-Plates 3-4 holes	$155.00

SN012	TC 100 3.5mm One Third Tubular plates	Sterile, 2 - 8 holes	25 - 97mm	$42.00

SN543	TC 100 Plate	Pelvic Fragment Plates	3-18 hole, 45-190mm	$160.00

Prostheses List by Category, Groups and Sponsor	Page 388 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK038	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system L, compr 10 hole T bar	$1,410.00

SK067	Matta Pelvic System	Curved Pelvic Plate Radius 108	4-9 Holes	$53.00

SK071	Matta Pelvic System	Curved Pelvic Plate Radius 88	4-9 Holes	$61.00

SK083	Stryker Plating System Small Fragment Set	Standard compression plate	2-9 Holes	$166.00

ST025	Stryker Plating System Small Fragment Set	Stainless Steel	4-9 Holes	$497.00

ST037	Stryker Plating System SmallFragment Set	One Third Tubular Plate with Collar	2-8 Holes	$113.00

ST730	Leibinger Titanium Implant System	Hand system, fixation plate, L-shape, right/left	1.7mm, 6 holes	$225.00

ST787	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, straight plate, 	6 holes	$480.00

Titanium

Zimmer Pty Ltd

ZI211	Zimmer Plates	ZPS SC 1/3 Tubular Plate - Forearm	3 - 8 Hole	$46.00

ZI212	Zimmer Plates	ZPS Semi Tubular Small Narrow Plate	3 - 8 Hole	$113.00

ZI214	Zimmer Plates	Mini Straight & Epiphysis Plates	3 - 8 Hole	$153.00

ZI215	Zimmer Plates	Mini SCP Plate	3 - 12 Hole	$113.00

ZI216	Zimmer Plates	SCP Forearm plate	4 - 12 Hole	$113.00

ZI218	Zimmer Plates	Spoon Plates	5 - 6 Hole	$243.00

ZI222	Zimmer Plates	Epiphysis plates	2 - 6 Hole	$113.00

ZI223	Zimmer Plates	1/4 Tubular Plate	3  - 8 Hole	$264.00

ZI224	Zimmer Plates	Standard DC Plate	2 - 12 Hole	$243.00

ZI541	Zimmer Universal Locking System	3.5mm Universal Locking System Reconstruction Plates, 	3 hole 40mm; 4 hole 53mm; 5 hole 79mm; 7 	$470.00

Straight-Sterile-Sterile & Non Sterile	hole 92mm; 8 hole 105mm; 9 hole 118mm;

10 hole 131mm; 11 hole 144mm; 12 hole

157mm

ZI542	Zimmer Universal Locking System	3.5mm Locking Dual Compression Plate Sterile and Non 	4 hole 53mm; 5 hole 66; 6 hole 79mm; 7 hole 	$229.00	$240.00

Sterile	92mm; 8 hole 105mm; 9 hole 118mm; 10

hole 131mm; 11 hole 144mm; 12 hole

157mm; 14 hole 183mm

Prostheses List by Category, Groups and Sponsor	Page 389 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI543	Zimmer Universal Locking System	3.5mm Locking T Plate Sterile and Non-Sterile	3 hole head 5 hole shaft 73mm length; 4 hole 	$260.00

head 6 hole shaft 85mm length; 3 hole head 3

hole shaft left 51mm length; 3 hole head 4 hole

shaft left 63mm length; 3 hole head 3 hole

shaft right 51mm length; 3 hole head 4 hole

shaft right 63mm length.

ZI544	Zimmer Universal Locking System	3.5mm Locking One-Third Tubular Plate - Sterile and non-	5 hole 68mm; 6 hole 81mm; 7 hole 94mm; 8 	$175.00	$190.00

sterile	hole 107mm; 10 hole 133mm

3 Plates

Advanced Surgical Design & Manufacture Ltd

AE083	Titan Plate & Screw System	Straight Plates	3 Plates	$444.00

3 Plates 6 Screws

Advanced Surgical Design & Manufacture Ltd

AE081	Titan Plate & Screw System	Plates & Screws	3 Plates 6 Screws	$900.00

compression

Smith & Nephew Surgical Pty Ltd

SN044	TC 100 3.5mm Small Fragment (Compression) Plates	Sterile, 2 - 7 holes	25mm - 85mm	$81.00

SN063	TC 100 2.7mm Small Fragment (Compression) plates	2 - 12 holes	20 - 100mm	$120.00

Stryker Australia Pty Ltd

SK081	Stryker Plating System Small Fragment Set	Waisted compression plate	2-10 Holes	$220.00

Locking

Zimmer Pty Ltd

ZI550	Zimmer Universal Locking System	2.7mm Locking Dual Compression Plate Sterile and Non 	2 hole 26mm; 4 hole 49mm; 6 hole 72mm; 7 	$229.00	$240.00

Sterile	hole 84mm; 8 hole 95mm; 9 hole 107mm; 10

hole 118mm; 12 hole 141mm; 16 hole

187mm

Prostheses List by Category, Groups and Sponsor	Page 390 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI551	Zimmer Universal Locking System	2.7 mm Locking T & L Plate Sterile and Non-Sterile	2 hole head 3 hole shaft 39mm length; 2 hole 	$260.00

head 5 hole shaft 62mm length; 3 hole shaft

left 39mm; 3 hole shaft right 39mm; 3 hole

shaft oblique left 42mm; 3 hole shaft oblique

right 42mm; 5 hole shaft left 62mm; 5 hole

shaft right 62mm; 5 hole shaft obl

ZI552	Zimmer Universal Locking System	2.7mm Locking One-Quarter Tubular Plate-Sterile and 	3 hole 36mm; 4 hole 47mm; 5 hole 59mm; 6 	$175.00	$190.00

Non-Sterile	hole 70mm;l 7 hole 82mm; 8 hole 93mm

more complex shape

Smith & Nephew Surgical Pty Ltd

SN013	TC 100 3.5mm Curved Reconstruction plates	Sterile, 6 - 8 holes	70 - 94mm	$183.00

Stryker Australia Pty Ltd

ST051	Stryker Plating System Small Fragment Set	Cloverleaf Plate	3-5 Holes	$340.00

ST722	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, fixation 	1.2mm system, 4x2 holes	$520.00

plate,  3D plate, titanium

ST741	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 3D plate, 	1.7mm system, 4x2 holes	$520.00

titanium

ST764	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, fixation 	2.3mm system, 4x2 holes	$505.00

plate, 3D plate, Titanium

periarticular,Titanium

Johnson & Johnson Medical Pty Ltd

DP910	Periarticular Plating System	SPIDER Plate (2p/p) and offset Titanium	Lg	$204.00

Plates 6 Screws

Advanced Surgical Design & Manufacture Ltd

AE082	Titan Plate & Screw System	Fan Blade & Screws	1 Fan Blade 6 Screws	$654.00

Resorbable

Arthrocare Australasia Pty Ltd

AF013	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid 	1.5-2.5mm plates:- 2-10 hole plates and 	$240.00

Trimethylene Carbonate Copolymer	extended, c-plate & x-plate 7 hole, H-plate 8

hole, orthognathic hole and L-plate L & R 7

hole

Prostheses List by Category, Groups and Sponsor	Page 391 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AF016	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 6 & 8 hole	$433.00

AF017	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 2 & 2.5 systems 4,6,8, 10 hole	$240.00

Titanium

Johnson & Johnson Medical Pty Ltd

DP609	Small / Large  Fragment Set	100 Tube Plate Titanium	3.5mm Dia and 3 to 8 holes	$177.00

DP612	Small / Large  Fragment Set	Active Compression Plate Titanium	3.5mm  5 to 10 Hole	$193.00

DP908	Periarticular Plating System	Periarticular Pilon Plate  - Titanium	4 to 10 hole	$386.00

DP911	Periarticular Plating System	Meta Plate - Titanium      	Sm -Lge  5 Hole   	$338.00

DP915	Periarticular Plating System	Medial Pilon Plate - Titanium	5 Hole 	$346.00

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ710	ALPS - Anatomic Locked Plating System	3.5MM Titanium LOCKING COMPRESSION PLATE	5-10 hole plates	$500.00

JJ711	ALPS - Anatomic Locked Plating System	3.5MM Titanium 100° Tubular Plate	5-10 holes	$400.00

6.7.3.3.2.3 Internal Fixation Plate, general, small fragment, 11-20 holes

Johnson & Johnson Medical Pty Ltd

DP708	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 14 to 18 Hole	$353.00

DP714	Small / Large Fragment Set S/S	Reconstruction Plate	2.7mm 8-26 Hole	$233.00

DP723	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 9 - 18 Hole	$321.00

DP744	Small / Large Fragment Set S/S	Broad DCP Plate	11 to 14 Hole	$235.00

DP746	Small / Large Fragment Set S/S	Broad DCP Plate	16 to 17 Hole	$320.00

DP796	Small / Large Fragment Set S/S	Narrow Bone Plate	5-18 Hole	$82.00

DP802	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm 8-16 Hole	$120.00

DP909	Periarticular Plating System	SPIDER Plate.(2p/p) Titanium	Sm	$204.00

Stryker Australia Pty Ltd

SK069	Matta Pelvic System	Curved Pelvic Plate Radius 108	10-14 Holes	$32.00

SK084	Stryker Plating System Small Fragment Set	Standard compression plate	10-20 Holes	$220.00

SK099	Stryker Plating System Small Fragment Set	One Third Tubular Plate with Collar	9-14 Holes	$175.00

Prostheses List by Category, Groups and Sponsor	Page 392 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK100	Stryker Plating System	Small Fragment Plates	T-Plates 2 - 10 hole	$165.00

ST036	Stryker Plating System Small & Basic Fragment - T Plate	Oblique T Plate or T Plate, Stainless Steel or Titanium, 	42-86mm Length	$304.00

Oblique

ST039	Stryker Plating System Small & Basic Fragment - L Plate	Stainless Steel or Titanium, Left or Right	3-20 Holes, 67-339mm Plate Length	$231.00

Zimmer Pty Ltd

ZI219	Zimmer Plates	T-Plates	68 - 147mm	$248.00

ZI220	Zimmer Plates	Cloverleaf plates	88 - 104mm	$227.00

compression

Stryker Australia Pty Ltd

SK082	Stryker Plating System Small Fragment Set	Waisted compression plate	11-20 Holes	$220.00

SK110	Stryker Plating System	Compression Plates	2 - 22 Holes	$152.00

ST008	Stryker Plating System Small & Basic Fragment - 	Narrow or Broad	2-20 holes, 26-260mm plate length	$310.00

Compression Plate

ST041	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	6-14 holes	$316.00

More complex shape

Energy Orthopaedics Pty Ltd

EO008	Aptus Hand-Plates	Aptus Hand-Plates	1.2/1.5/2.0/2.3/2.5; straight plate 4-16 hole; 	$670.00

curved 16 hole; offset 16 hole; T plate, Y

plate, L plate 4-10 hole; T plate offset 11-12

hole; grid-rectangular, trapezoid, angled,

square 4 hole-12 hole

Medical & Optical Instruments Australia Pty Ltd

MO247	Martin Fixation Device Internal - Plate	Steile Titanium Y and Double Y Plate	1.5mm system	$295.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK102	Stryker Plating System Small Fragment Set	Cloverleaf Plate	6-10 Holes	$330.00

more complex shape,compression

Smith & Nephew Surgical Pty Ltd

SN069	TC 100 3.5mm Reconstruction plates	Sterile, Straight 9 - 11 holes	106 - 130mm	$231.00

Prostheses List by Category, Groups and Sponsor	Page 393 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Arthrocare Australasia Pty Ltd

AF011	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid 	1.5mm baby plates:- 20 hole, c-plate & x-	$350.00

Trimethylene Carbonate Copolymer	plate 7 hole, 2 hole

AF012	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid 	1.5mm plates:- 20 holes, c-plate & x-plate 7 	$310.00

Trimethylene Carbonate Copolymer	hole, L-plate 7 hole L & R. burrhole

small

Smith & Nephew Surgical Pty Ltd

SN532	TC 100 Plate	2.0mm Straight Plate	3-20 hole	$81.00

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ712	ALPS - Anatomic Locked Plating System	3.5MM Titanium LOCKING COMPRESSION PLATE	11-20  hole plates	$600.00

6.7.3.3.2.4 Internal Fixation Plate, general, small fragment, 21-50 holes

Johnson & Johnson Medical Pty Ltd

DP709	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 20-28 Hole	$450.00

DP739	Small / Large Fragment Set S/S	Angle Blade Plate	90 Degrees 60 to 65 x 10-15mm	$372.00

DP749	Small / Large Fragment Set S/S	Broad DCP Plate	18 to 26 Hole	$347.00

Smith & Nephew Surgical Pty Ltd

SN011	TC 100 3.5mm Small Fragment (Compression) plates	Sterile, 14 - 26 hole	169 - 265mm	$294.00

Stryker Australia Pty Ltd

SK088	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	15-26 Holes	$325.00

Locking,compression,large

Smith & Nephew Surgical Pty Ltd

SN798	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts and 	3.5mm, 20 - 22 holes	$740.00

Rights

Prostheses List by Category, Groups and Sponsor	Page 394 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.3 Internal Fixation Plate, general, large fragment

Synthes Australia Pty Ltd

SY034	AO/ASIF Plates 	4.5mm narrow, DCP/LCP/LCDCP	2-28 hole	$378.00

SY035	AO/ASIF Plates	 4.5mm broad,  DCP/LCDCP	2-28 hole	$484.00

SY036	AO/ASIF Plates	Tubular plate, 3.5mm 1/3 tubular	2-28 hole	$158.00

SY097	AO/ASIF Plates - Steel	broad straight plate DCP/LCDCP	4.5mm, 2 - 28 hole	$644.00

SY114	AO/ASIF Plates	3.5mm  - 5.0mm Straight DCP/LCDCP	2-28 hole	$231.00

Flexible,Locking

Synthes Australia Pty Ltd

SY350	AO/ASIF Plate	3.5mm Reconstruction Plate	2-24 holes	$530.00

large,Locking,compression

Smith & Nephew Surgical Pty Ltd

SN795	Peri-Loc	Plates, Stainless Steel, Locking, Compression & Tubular, 	3.5mm	$334.00

Lefts and Rights

Locking,compression

Synthes Australia Pty Ltd

SY161	LCP Plate	1/3 Tubular Plate	Dia 3.5mm, length 2-16 hole	$175.00

SY172	LCP Plate	Straight Plate, Sterile/Non Sterile	Dia 3.5 - 5.0mm, length 2-20 hole	$229.00

Locking,flexible

Synthes Australia Pty Ltd

SY018	AO/ASIF Plates	Straight & Curved 3.5mm, reconstruction	2 - 24hole	$740.00

more complex shape

Synthes Australia Pty Ltd

SY020	AO/ASIF Plates	Steel, spoon plate,4.5mm 	5-12 hole	$415.00

SY115	AO/ASIF Plates	3.5mm, T- PLATE - right & oblique angle	2-8 hole	$294.00

SY117	AO/ASIF Plates	T & L plate  - left & right	3.5mm - 5.0mm, 2 - 12hole	$572.00

SY122	AO/ASIF Plates	4.5mm, angled plate	4-22 hole	$1,200.00

Prostheses List by Category, Groups and Sponsor	Page 395 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ727	ALPS LFS	Offset, Reconstruction and 4.5mm Spider and T-plates, 	4-25 holes	$650.00

Titanium

6.7.3.3.3.1 Internal Fixation Plate, general, large fragment, 1-4 holes

Johnson & Johnson Medical Pty Ltd

DP105	Coventry Screw system S/S	Standard or Heavy or Extra Heavy Duty Plate	2 -4 or 3- 4 Hole Standard or 130 Deg	$442.00

DP693	Small / Large Fragment Set S/S	T-Plate Stainless Steel           	3 up to 8 Hole	$1,700.00

Surgical House

SU178	Newdeal Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only with 	2-4 hole plates	$740.00

Newdeal screws/lock screws.

More complex shape

Zimmer Pty Ltd

ZI231	ZPS	Recon Bridge Plate	4 Hole	$950.00

Resorbable,Flexible

Surgical House

SU177	Newdeal Reinforced Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only with 	2 holes, 4 holes/77mm, 4 holes/112mm	$810.00

Newdeal Screws/lock screws

Titanium

Johnson & Johnson Medical Pty Ltd

DP906	Periarticular Plating System	Medial Pilon Plate - Titanium 	3 Hole	$340.00

DP907	Periarticular Plating System	Meta Plate - Titanium	Sm - Lge  3 Hole	$340.00

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ720	ALPS LFS	4.5mm locked narrow and broad 1-4 hole titanium 	1-4 hole	$500.00

compression plate

Prostheses List by Category, Groups and Sponsor	Page 396 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.3.3.2 Internal Fixation Plate, general, large fragment, 5-10 holes

Darco Australia

DC027	Arthrodesis Flat Plate - AFP	Flat plate intended for use in isolated tarsal fusions, titanium 	12, 14 & 16mm length	$510.00

locking plate, 2mm thickness

DC028	Displacement Plate - DPS	unique steep plate design allows for controlled fixation of 	6, 8 & 10mm step	$600.00

displacement calcaneal osteotomies. 3 step variations

allows for accurate corrections. 3.5mm Titanium locking

plate

Johnson & Johnson Medical Pty Ltd

DP672	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile	2-8 Hole 95 to 150 Deg	$348.00

DP673	Small / Large Fragment Set S/S	SCS Plate Sterile	3-9 Hole	$631.00

DP734	Small / Large Fragment Set S/S	Angle Blade Plate DCP	95 Degrees 5 - 12 Hole	$417.00

DP735	Small / Large Fragment Set S/S	Angle Blade Plate Stainless Steel	95 Degrees 45mm x 8mm	$317.00

DP737	Small / Large Fragment Set S/S	Angle Blade Plate	90 Degrees 35-50mm x 8-10mm	$354.00

DP753	Small / Large Fragment Set S/S	Blade Plate Stainless Steel	95 Degrees 5-6 Hole	$342.00

DP780	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	5-14 Hole 135-150 Deg	$545.00

LMT Surgical Pty Ltd

LM050	Biotech Easy Lock Osteosystem	Titanium and PEEK	2-10 holes  straight	$600.00

LM051	Biotech Easy Lock Osteosystem	Titanium and PEEK	10-20 holes straight and T-shape	$700.00

LM054	Argomedical Malleolar Plate	Titanium	6 - 10 Hole Plates	$460.00

LM072	Trimed Hook Plate	stainless steel 4 and 6 hole plates	4 and 6 holes/right and left	$740.00	$800.00

Stryker Australia Pty Ltd

SK075	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	3-9 Holes	$780.00

SR055	Stryker Locking Plate System	Plates including Locking, Standard & Compression	Straight, Curved, L, T, Y & 3-D	$520.00

Zimmer Pty Ltd

ZI217	Zimmer Plates	T Buttress Plates	4 - 6 Hole	$355.00

ZI225	Zimmer Plates	Broad Plates	5 - 14 Hole	$449.00

ZI227	ZPS	3.5mm Straight Recon Plates	6 Hole	$801.00

Prostheses List by Category, Groups and Sponsor	Page 397 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI228	ZPS	3.5mm Curved Recon Plates	6 Hole	$857.00

ZI230	ZPS	4.5mm Straight Recon Plate	6 Hole	$880.00

ZI547	Zimmer Universal Locking System	3.5mm  Optical Locking-Third Tubular Plate-Sterile & 	3 hole; 4 hole; 12 hole; 14 hole	$175.00	$210.00

Non Sterile

compression

Smith & Nephew Surgical Pty Ltd

SN062	TC 100	Narrow Compression Plate	4.5mm, 5 - 7 holes	$95.00

compression,large,locking

Smith & Nephew Surgical Pty Ltd

SN796	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts and 	 3.5mm, 4 - 12 holes	$506.00

Rights

Flexible

Surgical House

SU179	Newdeal Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only with 	5 - 9 hole plates	$975.00

Newdeal screws/lock screws

Locking

Zimmer Pty Ltd

ZI549	Zimmer Universal Locking System	2.7mm Universal Locking System Reconstruction Plates, 	6 hole 49mm; 8 hole 65mm	$470.00

Straight - Sterile & Non Sterile

Locking,Titanium

Johnson & Johnson Medical Pty Ltd

JJ621	Distal Radius Fracture Repair System	Fragment locking plate, titanium	Right, left, straight, Y	$815.00	$845.00

more complex shape

Synthes Australia Pty Ltd

SY024	AO/ASIF Plates 	4.5mm cobra head	8-11 hole	$572.00

SY106	AO/ASIF Plates - Steel	Angled blade plate	3 - 26 hole,  length 25 - 110mm, 90 - 130 	$1,082.00

degree

multiple items

Advanced Surgical Design & Manufacture Ltd

AE093	Titan Plate & Screw System	Y Plate	Y Plate	$443.00

Prostheses List by Category, Groups and Sponsor	Page 398 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium

Johnson & Johnson Medical Pty Ltd

DP608	Small / Large  Fragment Set	Straight Plate Titanium	3-12 Hole	$366.00

DP611	Small / Large  Fragment Set	Reconstruction T Plate Titanium	4-8 Hole	$475.00

DP615	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 8 to 10 holes	$535.00

DP618	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 3 to 7 holes	$402.00

DP916	Periarticular Plating System	Medial Pilon Plate - Titanium	7 Hole 	$381.00

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ721	ALPS LFS	4.5mm locked narrow and broad 5-10 hole titanium 	5-10 hole	$600.00

compression plate

6.7.3.3.3.3 Internal Fixation Plate, general, large fragment, 11-20 holes

Darco Australia

DC031	TOM Plate	Designed for base osteotomies and fusions of MT1 with 	L & R: neutral, 1-5mm step	$540.00

correction achieved through one cut. It is a titanium locking

plate, anatomically designed with a smaller radius to fit the

contour of the first metatarsal and 5 step variation in 1mm

increments for accurate correction.

Johnson & Johnson Medical Pty Ltd

DP733	Small / Large Fragment Set S/S	Angle Blade Plate DCP Stainless Steel	95 Degrees 14-18 Hole	$580.00

DP776	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	10 Hole 135-150 Deg	$648.00

DP777	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	12 Hole 135-150 Deg 	$685.00

DP778	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	12-14 Hole 135-150 Deg	$739.00

DP784	Small / Large Fragment Set S/S	CHS Plate Stainless Steel	16 Hole 135-150 Deg   	$800.00

DP812	Small / Large Fragment Set S/S	SCS Plate Sterile	10-12 Hole 95 Degrees	$747.00

DP813	Small / Large Fragment Set S/S	SCS Plate Sterile	14-16 Hole 95 Degrees	$788.00

Prostheses List by Category, Groups and Sponsor	Page 399 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN659	HTO Plates	Titanium	6 - 20mm	$1,010.00

Stryker Australia Pty Ltd

SK064	Skryker Plating  System	Matta Pelvic Plates	Curved, Straight and Symphysis Pubis 2 - 30 	$800.00

hole

SK070	Matta Pelvic System	Curved Pelvic Plate Radius 108	15-20 Holes	$800.00

SK073	Matta Pelvic System	Curved Pelvic Plate Radius 88	10-14 Holes	$800.00

SK074	Matta Pelvic System	Curved Pelvic Plate Radius 88	15-20 Holes	$800.00

SK077	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	10-16 Holes	$780.00

SK098	Stryker Plating System Small Fragment Set	Stainless steel, reconstruction plate	10-22 Holes	$551.00

Zimmer Pty Ltd

ZI545	Zimmer Universal Locking system	3.5 mm Optional Locking Reconstructive Plate- Sterile and	13 hole; 14 hole; 15 hole; 16 hole; 18 hole; 	$550.00

Non-Sterile	20 hole; 22 hole

ZI546	Zimmer Universal Locking System	3.5mm Optional Locking dual Compression Plate - Sterile 	16 hole; 20 hole	$229.00	$350.00

and Non-Sterile

compression,Locking,large

Smith & Nephew Surgical Pty Ltd

SN797	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts and 	3.5mm, 14 - 18 holes	$685.00

Rights

Flexible

Synthes Australia Pty Ltd

SY116	AO/ASIF Plates	4.5mm recon plate	2-28 hole	$840.00

Flexible,Titanium

Johnson & Johnson Medical Pty Ltd

DP617	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 14 holes	$796.00

Locking,Periarticular

Zimmer Pty Ltd

ZI331	Zimmer Periarticular Locking Plates	Periarticular Locking Plating System	Various lengths and numbers of holes	$1,400.00

Periarticular

Zimmer Pty Ltd

ZI243	Periarticular Plates	Stainless Steel	2 - 20 Hole	$974.00

Prostheses List by Category, Groups and Sponsor	Page 400 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ722	ALPS LFS	4.5mm locked narrow and broad 11-20 hole titanium 	11-20 hole	$700.00

compression plate

6.7.3.3.3.5 Custom made plate

more complex shape

Synthes Australia Pty Ltd

SY093	AO/ASIF Plates	Specially manufactured plate all sizes	Custom made	$3,605.00

SY111	AO/ASIF Plates	Specially manufactured plate	1.0mm - 6.5mm	$3,914.00

6.7.3.3.4.1 Osteotomy, opening wedge

Device Technologies Australia Pty Ltd

DE094	Osteotomy Plates	Anterior/posterior sloped.  Stainless steel	5 - 15mm length	$1,098.00

DE215	Arthrex Osteotomy Plates	Metatarsal	2mm - 8mm	$550.00

Surgical House

SU185	Newdeal HTO Plates	Composition - 316L Stainless Steel. To be used only with 	Opening wedge HTO plates, left and right. 	$900.00

Newdeal screws/lock screws.	Closing wedge HTO plates, left and right.

Reinforced closing wedge HTO plates, left

and right

Osteotomy

Device Technologies Australia Pty Ltd

DE055	Osteotomy Plates	Osteotomy, Tibial -  Stainless Steel	5mm - 17.5mm	$820.00

DE078	Osteotomy Plates	Osteotomy, Femoral - Stainless Steel	7.5mm - 17.5 mm	$1,193.00

DE216	Arthrex Osteotomy Plates	Tibial, Composition Titanium	3mm - 17.5mm	$1,300.00

DE217	Arthrex Osteotomy Plates	Femoral, Titanium	5mm - 17.5mm	$1,480.00

6.7.3.5 Internal Fixation Screw

Zimmer Pty Ltd

ZI596	NCB System	NCB Screw Self Tapping	5.00mm x 14-85; 4.00mm x 14-48,	$155.00

ZI598	NCB System	.NCB Cancellous Screws	4.5mm x 30-65, 5.0mm x 32-90, 4.5mm x 	$155.00

30-65 C/FT

Prostheses List by Category, Groups and Sponsor	Page 401 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI599	NCB System	NCB Cortical Screws	5.00mm x 14-85; 4.00mm x 14-90; 3.5mm x 	$155.00

14-75.

ZI600	NCB System	NCB Cannulated Screws	14mm to 65mm	$175.00

ZI601	NCBSystem	NCB Cannulated Cancellous Screws	4.5mm x 30-90mm	$175.00

6.7.3.5.1 Set screw

B Braun Australia Pty Ltd

BB068	Caspar Screws	Stainless Steel	10mm-28mm	$10.00

BB069	Caspar Screws	Titanium	10mm-28mm	$29.00

Biomet Australia Pty Ltd

BI250	SST Small Bone Locking Nail	Set Screw w/holder, Titanium	One size only	$115.00

LMT Surgical Pty Ltd

LM093	New Clip Titanium Bone Screws	Titanium Screws for fixation of plates to bone	4 mm diam x10mm length to 4mm 32mm and 	$145.00	$180.00

4.5mm 10mm to 35mm

Smith & Nephew Surgical Pty Ltd

SN775	IMHS CP	Set Screw, Stainless Steel	Standard	$65.00

Stryker Australia Pty Ltd

SK247	Gamma LN	Set Screw - Titanium	8x17.5mm	$95.00

Locking

Synthes Australia Pty Ltd

SY320	AO/ASIF Screw	Locking Head Screw 2.0mm	Length: 6-40mm	$144.00

Proximal

Smith & Nephew Surgical Pty Ltd

SN514	Russel Taylor	Proximal Set Screw (Recon)	Short & Long	$148.00

Titanium

Johnson & Johnson Medical Pty Ltd

JJ633	HI S3 Shoulder Fixation System	Set Screw, 90 Deg Locking 	One size	$213.00	$220.00

Prostheses List by Category, Groups and Sponsor	Page 402 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.5.2 Soft tissue fixation screw

Arthrocare Australasia Pty Ltd

AF021	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 40mm, 2.5 x 30mm, 4.5 x 	$349.00

90mm

6.7.3.5.2.1 Soft tissue fixation, ACL

Advanced Surgical Design & Manufacture Ltd

AE094	ACL Fixation Screws Tapered	Flat Head, Tappered, Titanium	9 - 11mm Diameter 30mm Length	$178.00

AE095	ASDM Standard ACL Fixation Screw	Standard Flat Head Screw	7 - 11mm Diameter 20mm - 50mm Length	$178.00

AE096	ACL Fixation Screws	Round Head, Titanium	7-11mm Diameter 25 - 35mm Length	$178.00

Arthrocare Australasia Pty Ltd

AF006	Atlantech graft fixation screw - titanium	Titanium ACL Screw	7 x 20mm, 7 x 25mm, 7 x 30mm,  8 x 20mm, 	$161.00

8 x 25mm, 8 x 30mm, 9 x 20mm, 9 x 30mm

Device Technologies Australia Pty Ltd

DE068	Interference Screws	ARTHREX Non-sheathed	7 x 28mm - 12 x 28mm	$160.00

DE070	TransFix Implant Screw System - Arthrex	Titanium alloy	40mm & 50 mm	$445.00	$744.00

DE271	RetroButton	Femoral Fixation Device	12mm Button with 15-60mm loops, 15mm 	$369.00	$400.00

Button with 15-60mm loops

Johnson & Johnson Medical Pty Ltd

JJ024	Cross Pin	-	6.5mm x 40, 50mm lengths	$455.00

JJ125	Intrafix Tibial Tapered Screw	Plastic tapered screw	6 to 10mm x (15 to 30mm)	$286.00

JJ473	BioIntrafix Tibial Soft Tissue Fastener	Absorbable composite (TCP/PLA) fixation device (screw) 	6 to 10mm by length 30mm	$350.00

used in conjunction with a sheath for the repair of ACL Soft

Tissue Graft

JJ588	Femoral Intrafix System	Screw and Sheath Fixation System for the Femur in ACL 	7 to 10mm	$600.00

repairs

Smith & Nephew Surgical Pty Ltd

SN419	ACL/PCL Reconstruction	Aims Screws, Titanium	7-9mm diameter, 20 -25mm length	$165.00

SN420	ACL/PCL Reconstruction	RCI Screws Titanium	7-11mm diameter, 25-40mm length	$178.00

Prostheses List by Category, Groups and Sponsor	Page 403 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Arthrocare Australasia Pty Ltd

AF014	CPS Screws	Polylactic acid trimethylene carbonate copolymer	1.5-3.1mm screw ring 5 pcs	$40.00

AF015	CPS Screws	Polylactic acid trimethylene carbonate copolymer	Hexalon ACL screw 7-10 x 20-30mm	$90.00

AF031	CPS Screw Hexalon Biodegradable ACL/PCL 	Biodegradable ACL/PCL Recon Screw PLLA/PGA/TMC	6 x 20, 6 x 25, 6 x 30, 7 x 20, 7 x 25, 7 x 30,	$275.00

Reconstruction	 8 x 20, 8 x 25, 8 x 30, 9 x 20, 9 x 25, 9 x

30, 10 x 30

ConMed Linvatec Australia Pty Ltd

LV019	BioScrew Bioabsorbable Interference Screw	ACL Fixation - PLLA	Diameter 7.0 - 9.0mm, Length 20 - 30mm	$251.00	$330.00

LV022	EndoPearl Bio-Absorbable Implant - ACL Fixation	ACL Fixation - PLLA	7mm - 9mm	$164.00	$195.00

Device Technologies Australia Pty Ltd

DE069	Interference Screws	Bio-Cortical - PLA	8 x 17 - 11 x 17mm and 8 x 20 - 10 x 20mm	$299.00

DE072	Bio-Interference Screw	PLA	7mm - 9mm	$288.00

DE127	Bio-Transfix	Composition Poly (L-lactide)	Diameter 5mm, length 50mm	$455.00	$957.00

DE167	Bio-Interference Screw	Composition - PLLA, delta tapered	Dia6.5 - 10.5mm to 8 - 12mm x 28 - 35mm 	$450.00	$550.00

length

DE224	Retro Screw	Composition PLLA	8-10mm x 20mm	$340.00	$550.00

Johnson & Johnson Medical Pty Ltd

JJ073	Mitek Phantom Screw - Absorbable 	Polylactic acid Bioabsorbable Screw	7,8 & 9mm x (20 to 30mm)	$230.00

JJ078	Rigidfix ACL Cross Pin System 	Polylactic acid pin	2.7 & 3.3mm x 42mm	$465.00

Smith & Nephew Surgical Pty Ltd

SN421	ACL/PCL Reconstructions	Absorbable PLLA Screw	7-12mm diameter, 25-35mm length	$228.00

SN432	ACL/PCL Reconstructions	Tibial Post Screw	Small, Standard	$158.00

Resorbable,Cannulated,Titanium

Johnson & Johnson Medical Pty Ltd

JJ072	Mitek Kurosaka Fixation Screw	Titanium Screw Cannulated - Profile	7,8 & 9mm x (20 to 30mm)	$169.00

Prostheses List by Category, Groups and Sponsor	Page 404 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable,lag

ConMed Linvatec Australia Pty Ltd

LV062	Bionx Implants - screws	ACL PDLA Screws & Wedges	Dia 5mm, 7mm, 8mm, 9mm	$346.00	$515.00

sheath

Johnson & Johnson Medical Pty Ltd

DY477	BioIntrafix Tibial Soft Tissue Fastener (Sheath)	Absorbable composite (TCP/PLA) fixation device (sheath) 	30mm	$345.00

used in conjunction with a screw

JJ124	Intrafix Tibial Sheath	High density polyethylene sheath	7 to 10mm x (15 to 30mm)	$272.00

Titanium,Cannulated

Johnson & Johnson Medical Pty Ltd

JJ071	Mitek Kurosaka Advantage Fixation Screw	Titanium Screw Cannulated - Advantage	7 & 9mm x (15 to 40mm)	$169.00

6.7.3.5.2.2 Interference (see soft tissue fixation, ligament)

Biomet Australia Pty Ltd

BI239	Arthrotek Ligament Fixation System	Interference Screw, Titanium	15-30mm	$475.00

BI246	Arthrotek Ligament Fixation System	Bone Mulch Screws, Titanium	10.5mm x (20-35mm)	$445.00

ConMed Linvatec Australia Pty Ltd

LV103	Matryx Interference Screw	Matryx (SR-96L/4D PLA with ß-TCP) Inteference Screw	7.3 x 20mm; 7.3 x 25mm; 7.3 x 30mm; 8 x 	$420.00

20mm; 8 x 25mm; 8 x 30mm; 9 x 20mm; 9 x

25mm; 9 x 30mm; 9 x 38mm; 10 x 25mm; 10

x 33mm; 10 x 38mm; 11 x 25mm; 11 x

33mm; 11 x 38mm

Corin Australia Pty Ltd

CR031	LARS Interference Screw	Titanium Interference screw	5.2 - 10mm diameter, 15 - 30mm	$340.00

CR118	LARS Ligament Staple	CoCr synthetic ligament anchor	6mm, 8mm or 10mm x 20mm	$445.00

Device Technologies Australia Pty Ltd

DE071	Arthrex Spiked Washer	Titanium alloy	14 - 15mm	$162.00	$369.00

Medical & Optical Instruments Australia Pty Ltd

MO134	Martin Osteosynthesis System	Screw Fami Anchor Titanium	1.5 - 2.0mm Diameter 8 - 15mm	$164.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 405 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN422	ACL/PCL Reconstructions	Acufex Fixation Post	25 -55mm	$241.00

SN425	ACL/PCL Reconstructions	Cannuflex Silk & Soft Silk Interference Screw	5.5 x 20mm - 9x30mm	$185.00

Stryker Australia Pty Ltd

SK155	Wedge Interference screw	Threaded PLLA screw with cross pin for ligament/tendon 	Dia 7-12mm, Length 20-40mm; pin length 	$163.00

fixation	standard

ST830	Stryker Wedge Interference Screw	Small threaded titanium screw for ligament/tendon fixation	Diameter 7 - 9mm, Length 20 - 25mm	$178.00

cannulated

Smith & Nephew Surgical Pty Ltd

SM164	BIOSURE	A non-absorbable polymer (PEEK) interference screw for 	6-12mm in diameter	$440.00

use in ligament/tendon reconstruction

Stryker Australia Pty Ltd

SR058	Stryker Cannulated Screw System	Asnis Micro Cannulated screw	2.0mm-3.0mm, Diameters, 8mm-40mm lengths	$438.00

Synthes Australia Pty Ltd

SY292	Facet Interference Screw	Cannulated Screw	7.5mm	$500.00

Resorbable

Biomet Australia Pty Ltd

BI241	Gentle Threads Ligament Fixation Screws	Screw, Graft Interference, PGA/PLA	7mm, 8mm, 9mm, 10mm	$466.00

ConMed Linvatec Australia Pty Ltd

LV065	Bionx Implants - screws	PLLA Screws (Contour Labral Nail)	3.5mm	$333.00	$415.00

LV075	BioCuff C Screw	Self-Reinforced 96L/4D PLA Screw	6.0mm O.D x 28, 32 & 36mm L	$400.00	$480.00

Device Technologies Australia Pty Ltd

DE163	Bio-Post & Washers	PLLA composition	Implant 35mm - 50mm, Washers 16mm	$750.00

Johnson & Johnson Medical Pty Ltd

JJ127	Absolute Absorbable Interference Screw 	Polylactic acid screw	7 to11mm x (23 to 30mm)	$230.00

JJ337	Biocryl - TCP/PLA Interference Screw	Composition - Tricalcium Phosphate & Polylactic Acid	7x23mm; 7x30mm; 8x23mm; 8x30mm, 	$303.00

9x23mm; 9x30mm; 10x23mm; 10x30mm;

11x30mm

Prostheses List by Category, Groups and Sponsor	Page 406 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ484	MILAGRO (TCP/PLGA) Interference Screw	MILAGRO (TCP/PLGA) Interference ACL Screw 	7mm x 23mm, 7mm x 30mm, 8mm x 23mm, 	$375.00	$450.00

System	8mm x 30mm, 9mm x 23mm, 9mm x 30mm,

9mm x 35mm, 10mm x 23mm, 10mm x

30mm, 10mm x 35mm, 11mm x 30mm,

11mm x 35mm, 12mm x 30mm, 12mm x 35mm

Resorbable,Cannulated

Smith & Nephew Surgical Pty Ltd

SN004	Bioabsorbable screw	BioRCI-HA Screw, Medial, Portal, Reverse thread, Tibial 	7 x 20mm - 12 x 35mm	$350.00

specific, Trans-tibial

Resorbable,lag

ConMed Linvatec Australia Pty Ltd

LV061	Bionx Implants - Screws	PLLA Lag Screw 	6.3mm Diameter	$494.00	$550.00

6.7.3.5.3 Anatomic

Stryker Australia Pty Ltd

SK228	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook 50-140mm	$195.00

6.7.3.5.3.3 Fixation screw, Carpal

Johnson & Johnson Medical Pty Ltd

DY135	Barouk Screws	2.5mm x 10-22mm	$288.00

6.7.3.5.3.4 Fixation screw, Distal Radius

Orthopaedic Solutions Pty Ltd

OE006	Stayfuse	Titanium inter-digital fusion device	Prox 2.8mm Blue; Mid 3.8mm x 6mm Blue; 	$309.00

Mid 4.3mm x 6mm Blue; Prox 3.3mm Grey;

Prox 3.8mm Grey; Mid 3.8 x 6mm Grey; Mid

4.3 x 6mm Grey; Mid 5.0 x 5mm Grey; Mid

5.0 x 6mm Grey; Prox 6.5mm Gold; Distal

5.5 x 10mm Gold; Distal 6.5 x 10mm Gold

Prostheses List by Category, Groups and Sponsor	Page 407 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OE013	CoverLoc Screws	CoverLoc Screws, stainless steel, (lag & cortical) & Pegs 	2.0mm, 2.7mm & 3.3mm x 10mm-26mm in 	$150.00

(threaded & unthreaded)	2mm increments

Locking

Medical & Optical Instruments Australia Pty Ltd

MO249	ACU- LOC Distal Radius Plate System	Threaded, non-threaded, locking, non-locking screw, peg, 	2.3mm / 3.5mm diameter, 14-32mm length	$145.00

Titanium

Stryker Australia Pty Ltd

SK369	Stryker Locking Plate System	Variax Screws and Pegs	1.7 - 3.5mm diameter 10 - 70mm long	$125.00

6.7.3.5.3.5 Fixation screw, Tibial

Locking

Austofix

AX023	Austofix Femoral & Tibial Nailing System	4.0/4.8 Screws; Locking; dual thd; high nitrogen s-s	Dia 4.0 - 4.8mm; Lengths 20-80mm	$120.00

Resorbable

ConMed Linvatec Australia Pty Ltd

LV077	BioScrew XtraLok Tibial Fixation Device	PLLA	Diameter 8, 9, 10, 11mm; Length 35 & 40mm	$262.00	$335.00

6.7.3.5.3.6 Fixation screw, Humerus

Stryker Australia Pty Ltd

HW219	Howmedica Modular Resection System	Humerus Connecting Screw -  Vitallium	One size only	$653.00

6.7.3.5.4 Fixation screw, Break-off

Advanced Surgical Technologies

AD312	Charlotte Foot & Ankle System	Snap-off screws, titanium alloy	2.0 dia 11, 12, 14mm. 2.7 dia 13, 15, 17mm	$315.00

Darco Australia

DC010	Twist-off Screw	Unique feature of two thread diameters to suit variable 	2.0mm diameter x 11-15mm, 2.5mm diameter	$286.00

bone quality, specifically designed for Weil-osteotomy, 	 x 11-15mm,

titanium, self drilling and self tapping, twist-off connector

Prostheses List by Category, Groups and Sponsor	Page 408 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE291	QuickFix Screw	Small Bone Fixation - Metal	2mm x 10mm, 2mm x 11mm,2mm x 12mm, 	$425.00

2mm x 13mm, 2mm x 14mm, 3mm x 13mm x

3mm x 15mm, 3mm x 17mm, 3mm x 19mm

Energy Orthopaedics Pty Ltd

EO032	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip  / Cannulated	Auto Compressive long L10 - L34	$425.00

EO033	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	FSA 2 part 9-21/14-26	$425.00

EO034	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Weil self tapping L9 - L15	$425.00

EO035	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip / Cannulated	Arthrodesis large diameter L28 - L40	$425.00

Johnson & Johnson Medical Pty Ltd

DP882	Twistoff Screw	TwistOff Screw Titanium	11-14mm Long	$320.00

DY410	Hand and Foot Fracture Systems	FRST wist off screw	11 to 14mm	$309.00	$380.00

DY412	Hand and Foot Fracture Systems	FRS Screw	10mm to 34mm L x 2.5mm Diameter	$309.00

Surgical House

SU008	Spin Screw: Snap Off Screw	Titanium	Diameter 2mm, Length 11-14mm; Diameter  	$286.00

2.7mm,  Various Lengths; Diameter 3.0mm,

Various Lengths

SU206	Spin Screw: Snap Off Screw (Sterile)	Titanium	Diameter 2-3mm, Length 10-34mm	$286.00

6.7.3.5.5 Fixation screw, cancellous

Biomet Australia Pty Ltd

BI915	Batcup	6.5mm Ti Cancellous Bone Screws	12mm to 45mm	$180.00

Device Technologies Australia Pty Ltd

DE077	Cancellous Bone Screws	Low Profile	4-6.5mm x 14-60mm	$211.00

Global Manufacturing Technology Pty Ltd

GM050	Contile Fin II	6.5mm Ti Cnacellous Bone Screws	20 to 50mm	$225.00

Johnson & Johnson Medical Pty Ltd

DP106	Coventry Screw system S/S	Cancellous Screw	4mm or 4.5mm 16-90mm Length	$275.00

Prostheses List by Category, Groups and Sponsor	Page 409 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP761	Small / Large Fragment Set S/S	Cancellous Screw	4mm Dia and 10 - 30 Length	$125.00

DP766	Small / Large Fragment Set S/S	Cancellous Screw 32 Thread - Stainless Steel	Dia 6.5mm x 130-140mm	$54.00

DP772	Small / Large Fragment Set S/S	Cancellous Screw	6.5mm x 14-110mm Length	$35.00

DP774	Small / Large Fragment Set S/S	Cancellous Screw 16 or 32 Thread	6.5mm x 25 - 130mm Length	$35.00

JJ713	ALPS SFS	Cancellous Titanium Bone Screws	10-150MM	$120.00

Lifehealthcare Pty Ltd

LH323	I.T.S. Volar Angle Locking Plate (VAL)	Cancellous Stabilization Screw	D=3.5mm, Length = 14mm-30mm (with 	$157.00

incremental of 2)

Orthotech Pty Ltd

OH340	Fyxis plate screw	Foot plate screw	9-55mm	$300.00

Smith & Nephew Surgical Pty Ltd

SN284	Screws	Cancellous	15mm - 50mm	$185.00

SN770	Peri-Loc	Fixation device, internal, locking and non-locking, stainless 	5 & 6.5mm	$80.00

steel, cortical and cancellous screw

Stryker Australia Pty Ltd

HW337	Omega Plus Compression Hip Screw System	Cancellous -  Stainless Steel	6.5mm dia	$50.00

SK049	Stryker Plating System	Cancellous bone screws	 4.0mm diameter, 8 - 150mm lengths	$50.00

SK053	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 55-95mm	$305.00

SK054	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 100-150mm	$305.00

ST005	Stryker Plating System Screws - Cancellous	6.5mm Stainless Steel or Titanium	20-50mm	$35.00

ST006	Stryker Plating System Screws - Cancellous 4.0mm	Stainless Steel or Titanium, Full or Partial Thread	10-60mm Screw Length	$70.00

ST545	Osteonics hip prostheses 	Cancellous bone screw, Titanium	6.5mm & 5.5mm dia	$137.00

Synthes Australia Pty Ltd

SY068	AO/ASIF Screws	Cancellous,- ligament, bunionectomy, full & short thread	4.0mm dia / 10 - 105mm	$91.00

SY082	AO/ASIF Screws	6.5mm cancellous screws	10-150mm L	$145.00

Zimmer Pty Ltd

ZI149	Periarticular Plates	Periarticular 6.5mm Cancellous Screws - Stainless Steel	16mm Thread - 35-90mm Long, 32mm 	$159.00

Thread - 45-90mm Long, Fully Threaded -

25-90mm Long

Prostheses List by Category, Groups and Sponsor	Page 410 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI150	Periarticular Plates	Periarticular 4.0mm Cancellous Screws - Stainless Steel	Part thread - 30-60 mm, Full thread 30-110 	$105.00

mm

ZI203	Zimmer ECT Screws	4.0mm Cancellous Screws	10 - 60 mm	$80.00

ZI207	Zimmer ECT Screws	6.5mm Cancellous Screws	25 - 110mm	$125.00

ZI370	Cancellous Screws	Orthopaedic Screws - Ti alloy	20 to 60	$148.00

ZI399	Cancellous Screws	Screws- Cancell - Ti alloy	6.5/15 to 6.5/70mm	$142.00

Cannulated

Johnson & Johnson Medical Pty Ltd

DP643	Small / Large  Fragment Set	Cannulated Cancellous Screw Full Threaded - Stainless 	4mm or 7mm x 10 -100mm Length	$186.00

Steel

DP662	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	6.5mm x 25-140mm Length	$125.00

DP663	Small / Large Fragment Set S/S	Cannulated Cancellous Screw Part Thread Screw	4mm or 6.5mm x 10- 140mm Length	$132.00

DP664	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	7mm x 25-140mm Length	$160.00

lag

Johnson & Johnson Medical Pty Ltd

DP592	Small / Large  Fragment Set	Cannulated Cancellous Lag Screw Titanium	6.5 - 8mm or 22 mm threaded screw	$214.00

large

Smith & Nephew Surgical Pty Ltd

SN593	TC 100 Screw	6.5mm Cancellous Screw	25 - 150mm length	$35.00

SN595	TC 100 Screw	6.5mm Cancellous Screw Fully Threaded	6.5mm Diameter, 115mm-150mm	$129.00

SN602	TC 100 Screw	6.5mm Cancellous Screw Partially Threaded	6.5mm Diameter, 32mm thread, 130mm+ 	$60.00

Length

locking, titanium

Johnson & Johnson Medical Pty Ltd

JJ723	ALPS LFS	Cancellous Titanium locking screws	26-100MM	$185.00

medium

Smith & Nephew Surgical Pty Ltd

SN606	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	10 - 20mm	$14.00

SN607	TC 100	4mm Cancellous Screw	22 - 50mm	$16.00

SN609	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	 55mm +	$21.00

Prostheses List by Category, Groups and Sponsor	Page 411 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

multi-directional

Johnson & Johnson Medical Pty Ltd

JJ631	HI S3 Shoulder Fixation System	Screw, Multidirectional Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 	$231.00	$265.00

& 38

Titanium

Johnson & Johnson Medical Pty Ltd

DP627	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	4mm or 5mm Dia 10-76 mm Length	$122.00

DP632	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	5.0mm Length 50 - 80mm	$147.00

DP638	Small / Large  Fragment Set	Solid Cancellous Bone Screw Full Thread Titanium	4mm Dia 50-110mm Length	$180.00

JJ079	Mitek Cancellous Screw Low Profile	Titanium screw	4.5mm x (26 to 76mm)	$162.00

JJ080	Mitek Cancellous Screw Low Profile	Titanium screw	6.5mm x (25 to 55mm)	$162.00

JJ623	Distal Radius Fracture Repair System	Bone screw, cancellous/cortical titanium	2.5mm-3.5mm x 10-28mm	$107.00

JJ684	Polyax Plating System	Cancellous Non-Locking Screw, Titanium	40-100mm	$220.00

Medical & Optical Instruments Australia Pty Ltd

MO156	Polarus Proximal Humeral Fixation System	Polarus Screws Cancellous/Cortical Titanium	12.5 to 60mm length	$220.00

Titanium, cannulated

Johnson & Johnson Medical Pty Ltd

JJ714	ALPS SFS	Cancellous Titanium Locking Bone Screws	10-70MM	$180.00

JJ715	ALPS SFS	Cannulated Cancellous Titanium Bone Screws	10-70MM	$175.00

Titanium, Locking

Johnson & Johnson Medical Pty Ltd

JJ683	Polyax Plating System	Polyaxial Cancellous Locking Screw, Titanium	25-100mm	$220.00

JJ685	Polyax Plating System	Cancellous Locking Screw, Polyaxial, Titanium	50-100mm	$220.00

Titanium, Locking, cannulated, large

Johnson & Johnson Medical Pty Ltd

JJ682	Polyax Plating System	Polyaxial Cancellous Cannulated Locking Screw, Titanium	25-90mm	$250.00

Prostheses List by Category, Groups and Sponsor	Page 412 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium,Cannulated

Johnson & Johnson Medical Pty Ltd

DP040	Bone Screw	Screw Cancellous Titanium	Dia 3.5 or 5 or 6.5 or 7mm length 15 -	$91.00

110mm

DP593	Small / Large  Fragment Set	Cannulated Cancellous Screw 	4mm or 16mm or 32mm Thread, 26-120mm 	$227.00

Length

DP640	Small / Large  Fragment Set	Cancellous Cannulated  Lag Screw Partial Thread 	4mm 10 to 70mm Length	$225.00

DY131	Small / Large  Fragment Set	Low Profile Cannulated Cancellous Screw, Partially Thread	4mm x 10mm - 48mm Length	$225.00	$367.00

DY162	Fragment Set Small/Large	Low Profile Cannulated Cancellous Screw, Partially Thread	4mm x 50 - 75mm	$250.00	$441.00

DY164	Small / Large Fragment Set	Low Profile Cannulated Cancellous Screw, Fully Thread	4mm x 10 - 50mm Length	$183.00

DY165	Fragment Set Small/Large	Low Profile Cannulated Cancellous Screw, Fully Thread	4mm x 55 - 75mm	$225.00

Titanium,lag

Johnson & Johnson Medical Pty Ltd

DP605	Small / Large  Fragment Set	Cancellous Lag Screw Titanium	4.8 - 6.5mm	$132.00

6.7.3.5.6 Fixation screw, compression

B Braun Australia Pty Ltd

BB052	BRAUN AUST Intramedullary Nails	Compression Screw	4.5mmx64mm-4.5mmx102mm	$150.00

ConMed Linvatec Australia Pty Ltd

LV050	Bionx Implants - Rods 	PGA, PLA or PLLA	1.5mm x 10-70mm	$250.00	$325.00

LV051	Bionx Implants - Rods 	PGA, PLA or PLLA	2.0mm	$275.00	$350.00

LV052	Bionx Implants - Rods 	PGA, PLA or PLLA	3.2mm x 30-70mm	$300.00	$375.00

Darco Australia

DC013	Scarf	Compression screw designed for forefoot reconstructions, 	3.2mm diameter x 10-32mm	$286.00

1.1mm cannulated, titanium, self tapping, self drilling, wide

thread for osteoporotic bone, long threadless section for

high compression.

Prostheses List by Category, Groups and Sponsor	Page 413 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE272	Bio-Compression Screw System	Fixation Device	20mm, 22mm, 24mm, 26mm	$425.00	$850.00

Johnson & Johnson Medical Pty Ltd

DP590	Compression Hip Screw	6.5mm Solid Lag Screw Stainless Steel 	22mm Thread length 40 to 100mm	$146.00

LMT Surgical Pty Ltd

LM029	Kompressor	Titanium compression screw	10-34mm	$425.00

LM049	Biotech omnitech	The compression screws are for fixation of fractures and 	2 - 7mm diameter & 6 - 70mm length	$425.00

are avaliable in titanium and stainless steel

LM052	Ascension Compression Screw	Titanium Compression Screw	2-5mm diameter ; 12 - 40mm length	$425.00

LM089	BioComposites Little Grafter	An absorbable cannulated compression screw providing 	4mm diameter varying lengths 13mm to 27mm	$380.00	$560.00

fixation for small bone fractures

Medical & Optical Instruments Australia Pty Ltd

MO005	HBS Bone screw	Compression - standard, high	Length 10 - 30mm	$330.00

MO274	Acutrak 2	Headless Compression screw	8mm-30mm lengthmicro, mini, standard	$425.00	$550.00

Stryker Australia Pty Ltd

ST035	Stryker Trauma Locking Nail System: Compression Screw	Titanium	One size only	$165.00

Surgical House

SU208	Bold Compression Screw (Sterile)	Cannulated Titanium	10-34mm	$286.00

Synthes Australia Pty Ltd

SY109	AO/ASIF Plates	DHS/DCS compression screw	36mm length	$46.00

Cannulated

Advanced Surgical Technologies

AD310	Charlotte Foot & Ankle System	High demand compression screw, cannulated, stainless steel	6.5mm& 7.0mm dia, 40-110mm lengths in 	$400.00

5mm increments

AD311	Charlotte Foot & Ankle System	Multi use compression screw, cannulated, stainless steel	3.0 & 4.3mm dia. 10-60mm in 2mm 	$400.00

increments

Lifehealthcare Pty Ltd

LH326	Metaflex	low compression screw	Diameter: 1.2, 1.4, 1.6, 2.0 - 2.5mm, Length: 	$390.00	Temporary approval pending review of product

10mm - 30mm	 group in Feb 09 cycle.

Prostheses List by Category, Groups and Sponsor	Page 414 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH374	AutoFIX	The Sbi AutoFIX Twin Pitch Cannulated Compression 	2.0mm and 2.5mm Cannulated Compression 	$550.00

Screw System implants are indicated in the treatment of 	Screw

fractures, nonunions, pseudarthrosis and degenerative

changes, as well as corrective osteotomies geared towards

a functionally stable osteosynthesis

Medical & Optical Instruments Australia Pty Ltd

MO179	Acutrak Fixation Screw	Acutrak Compression Screw Titanium	8mm to 50mm	$425.00

MO180	Acutrak Fixation Screw	Acutrak Plus, 6/7, 4/5 Cannulated Screw Titanium	25mm to 120mm	$425.00	$495.00

Stryker Australia Pty Ltd

SK256	TwinFix Cannulated Compression Screw System	Diameter 3.2mm, lengths 14-34mm	$440.00

Surgical House

SU006	Bold Compression Screw	Cannulated titanium	3mm diam 10-34mm length	$286.00

SU007	ICOS Screw: Ideal Compression Screw	Cannulated titanium	4.0mm diam 26-60mm length, 6.5mm diam 	$412.00

40-150mm length

Surgical Specialties

SQ017	CBS Screw	Titanium Compression Screw, Cannulated	1-1.5mm	$410.00

Synthes Australia Pty Ltd

SY322	AO/ASIF Screws	Headless Compression Screw 2.0mm - 8.0mm	Short Thread 4-40mm; Long Thread 4-40mm	$196.00

Locking,titanium,special purpose, lag screw kit

Smith & Nephew Surgical Pty Ltd

SN839	Trigen InterTAN Nail	Lag/Compression Screw, Titanium	30-120	$410.00

Resorbable

ConMed Linvatec Australia Pty Ltd

LV055	Bionx Implants - Screws	PLA Full Thread 	3.5mm	$340.00	$415.00

LV056	Bionx Implants - Screws	PLA Full Thread 	4.5mm	$360.00	$435.00

Resorbable,Cannulated

ConMed Linvatec Australia Pty Ltd

LV057	Bionx Implants - Screws	PLA Cannulated	4.5mm	$380.00	$450.00

Prostheses List by Category, Groups and Sponsor	Page 415 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable,lag

ConMed Linvatec Australia Pty Ltd

LV058	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 10-28mm	$335.00	$415.00

LV059	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 30-45mm	$340.00	$415.00

LV060	Bionx Implants - Screws	PLLA Lag Screw 	4.5mm x 25-70mm	$370.00	$450.00

6.7.3.5.7 Fixation screw, cortical or bone, otherwise unspecified

Device Technologies Australia Pty Ltd

DE286	Low Profile Screw System	Low Profile Screw	3.0 - 6.7mm x 18 - 120mm	$310.00

Smith & Nephew Surgical Pty Ltd

SM155	InterTAN CHS-Integrated Interlocking Screws	Integrated Interlocking Screws	11mm x 7.0mm diameter, 65mm Lag 	$410.00

Screw/60mm Compression Screw (65/60),

70/65, 75/70, 80/75, 85/80, 90/85, 100/95,

105/100, 110/105, 115/110, 120/115,

125/120, 130/125, 135/130, 140/135.

Stryker Australia Pty Ltd

SK490	U-Blade	U-Blade Lag Screw Set	All Gamma 3 U-Blade's are 10.5mm in 	$655.00

diameter, ranging from 70-130mm in 5mm

increments

SK491	U-Blade End Cap	U-Blade Lag Screw End Cap	One size 9mm x 10.5mm (diameter)	$250.00

Synthes Australia Pty Ltd

SY069	AO/ASIF Screws	Malleolar Screws	25mm - 110mm	$108.00

Cannulated

Synthes Australia Pty Ltd

SY072	AO/ASIF Screws Steel	Cannulated screws	1/3 thread & long thread / 10 - 50mm /4.0mm	$165.00

cannulated

SY073	AO/ASIF Screws Steel	4.5mm cannulated screws	Short thread, 1/3 thread, full thread / 20 - 	$185.00

72mm, 4.5mm cannulated

SY074	AO/ASIF Screws Steel	Cannulated screws	2.0mm-8.0mm	$313.00

SY076	AO/ASIF Screws Steel	Cannulated implant 	Custom made	$288.00

SY085	AO/ASIF Screws	Cannulated screws	Diameter 5.0 - 7.3mm, 20-150mm L	$213.00

Prostheses List by Category, Groups and Sponsor	Page 416 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lag

Johnson & Johnson Medical Pty Ltd

JJ708	ATN Trochanteric Nail System	Titanium lag screw for Trochanteric nail	80-120mm	$465.00

Stryker Australia Pty Ltd

SK215	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Lag Screw	$260.00

SK243	Gamma LN	Lag Screw - Titanium	10.5mmx70mm - 10.5mmx130mm	$465.00

Locking

Synthes Australia Pty Ltd

SY173	AO/ASIF Screws	Self drilling, Self Tapping, Conical Locking, Sterile/Non-	Diameter 3.5 - 5.0mm, Length 8 - 100mm	$178.00

Sterile

6.7.3.5.7.1 Fixation screw, cortical or bone, otherwise unspecified, 4mm to 7 mm diameter or size unspecified

Advanced Surgical Design & Manufacture Ltd

AE012	ASDM Bone Screw	Titanium 	2.0 - 6.5mm dia, length 4-150mm	$41.00

AE013	Shaft Screw, Pure 	Threaded Pin, Manufactured from pure Titanium	3.2 x 50 - 100mm, 4.0 x 70 - 110mm	$74.00	$290.00

AE087	Titan Plate & Screw System	Titan X Drive Screws	4 Screws	$304.00

AE097	Tibial Post Screw	Titanium	5 - 6mm	$158.00

Advanced Surgical Technologies

AD282	Micronail intramedullary radial fixation	2.7mm Titanium Screw	10mm - 20mm	$220.00

Austofix

AX021	S2 Nail System	6.2mm condylar screws	6.5mm x 60-85mm	$175.00

AX051	Tectona Hip Plate - Cortical Screw	Cortical Screw, self tapping	4.5mm, lengths 28-46mm	$30.00

AX052	Tectona Hip Plate - Compression Screw	Comprssion screw, sterile packed	Length 36mm. For compression with Tectona 	$50.00

Lag Screw

AX053	Tectona Hip Plate - Locking Screw	Locking screw, self tapping	5.0mm, lengths 28-46mm	$180.00

B Braun Australia Pty Ltd

BB056	BRAUN AUST Intramedullary Nails	Fixation Screws	Dia 4.5mm-6mm,Length 20mm-96mm	$55.00	$75.00

BB057	BRAUN AUST Intramedullary Nails	Closure Screws	Length 8mm-10mm	$60.00

BB059	BRAUN AUST Intramedullary Nails	Huckstep Fine Thread Screw	4.5mmx19mm-4.5mmx57mm	$55.00	$80.00

BB271	Aesculap Schanz Screw	Stainless steel	All sizes	$105.00

Prostheses List by Category, Groups and Sponsor	Page 417 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Biomet Australia Pty Ltd

BI287	Uniflex Tibial Nail	Tibial Nail Transverse Screw, Titanium	4.0, 5.0mm x (20-70mm)	$184.00

BI820	EBI XFIX DynaFix System	Screw, HA coated, cortical, cancellous	Dia 2-6mm	$274.00

BI834	EBI XFIX DynaFix System	Screw, VS Osteotomy System, Ti	6mm x (30mm-110mm)	$131.00

BI922	EBI Paediatric Locking Nail System	Screw Pilot Double Thread - titanium;	20 - 68mm x 4.0mm	$140.00

Corin Australia Pty Ltd

CR070	Alpha Lock Titanium Counter Sunk Screw	Titanium Counter Sunk Screw	Length (mm) 15, 20, 25, 30, 35, 40, 45, 50, 	$140.00

55, 60, 65 & 70

Device Technologies Australia Pty Ltd

DE128	Cortical Screw	Self locking screws, cancellous and cortical	3-6.5mm x 10-110mm	$230.00

Global Orthopaedic Technology

GO198	Iso-Elastic SuperCable Trochanteric Grips and Cable 	Locking Screw Titanium	5.0mm diameter 10mm to 50mm length	$185.00

Plate System

GO199	Iso-Elastic SuperCable Trochanteric Grips and Cable 	Compression Screws Titanium	4.5mm Diameter 10mm to 50 mm length	$185.00

Plate System

Johnson & Johnson Medical Pty Ltd

DP043	Chandler Plate	Self Tap Screw 4.5mm Length -Stainless steel	60-100mm	$175.00

DP656	Small / Large  Fragment Set S/S	Malleolar Stainless Steel Screw - Stainless Steel	25 - 70mm	$22.00

DP665	Small / Large Fragment Set S/S	CHS Compression Screw - Stainless Steel	Neutral to +2	$35.00

DP786	Small / Large Fragment Set S/S	Cortical Screw Self Tapping	3.5 or 4.5 x 30 - 110mm Length	$30.00

DP896	AC Percu Screw	AC Percu screw S/S	Size 32-52mm	$236.00

DP901	Albizza Nail	Albizza Nail Cotter Screw	3.5 or 4.5 0r 5.5 mm 25-75 mm length	$95.00

JJ707	ATN Trochanteric Nail System	Titanium anti-rotational screw for Trochanteric nail	Size 70-100mm	$187.00

Lifehealthcare Pty Ltd

LH373	Stability Sigmoid Notch Total DRUJ System / Sigmoid 	The Sigmoid Notch Radial Screw is a low profile self 	The Sigmoid Notch screw is available in 22m 	$250.00

Notch Screw	tapping cortical screw made of implantable CoCr.  It is 	increments from 18mm - 32mm and has a

designed to be placed bi cortical in the radius and is 	diameter of approx 4mm.

introduced into the Radial stem thru a hole.  It is placed into

the stem and tightened down

Prostheses List by Category, Groups and Sponsor	Page 418 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LMA PacMed Pty Ltd

PM113	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Shaft L31-43mm:	$54.00

LMT Surgical Pty Ltd

LM069	Normed Foot screws	Titanium plates, various sizes and shapes	multiple	$50.00

Medical & Optical Instruments Australia Pty Ltd

MO178	Acutrak Fusion Screw	Titanium	12 - 37mm	$330.00

Smith & Nephew Surgical Pty Ltd

SN014	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	14 - 60mm	$19.00

SN018	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	100 - 145mm	$60.00

SN061	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	62 - 95mm	$35.00

SN675	HTO Screws	Titanium	4.5mm Diameter, 20 - 80mm Length	$223.00

SN703	Absorbable Suture Anchor	Preloaded PLLA Suture Anchor	2.9mm, 5.0mm & 6.5mm	$460.00

Stryker Australia Pty Ltd

HW260	Wichita Fusion Nail System	Transverse Screw -  Vitallium	30-60mm in 5mm increments	$181.00

HW274	Alta Modular Trauma System - Components	Cortical Screw/Screw Nut Assembly - Titanium	5mm	$280.00

HW335	Omega Plus Compression Hip Screw System	Compression Screw -  Stainless Steel	25mm length	$50.00

SK086	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	22-38mm	$25.00

SK095	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	40-64mm	$25.00

SK096	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	65-95mm	$25.00

SK097	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	100-150mm	$25.00

SK203	Stryker Trauma Locking Nail System	SCN	Condyle Screws 5mm x (40mm-120mm)	$324.00

SK452	Stryker Plating System	Self-Tapping/Cortical Sterile ScrewsStainless Steel or 	2.7mm - 4.5mm Diameter8mm - 150mm 	$90.00

Titanium Alloy	Length

ST004	Stryker Plating System Screws - Cortical 4.5mm	Titanium or Stainless Steel	10-20mm	$25.00

Surgical House

SU116	Hintegra Total Ankle Prosthesis	Cortical fixation screw, Composition - Stainless Steel	Length 12 - 42mm	$100.00

SU186	Newdeal Lock Screws	For use with Newdeal bone screws and plates	Diameter 2.7mm - 6.5mm	$114.00

Prostheses List by Category, Groups and Sponsor	Page 419 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY127	AO/ASIF Intermedullary Nails	Shaft screw	5.0mm , length 70 - 125mm	$157.00

SY266	AO/ASIF Screws	Malleolar Screws	20.0 - 45.0mm	$95.00

Zimmer Pty Ltd

ZI079	Miller Galante I	Bone Screw - Ti	20 - 60mm	$135.00

ZI089	Miller Galante II	Bone Screw - Ti	20 - 80mm	$177.00

ZI133	NexGen Knee High Tibial Osteotomy System	Screw - Ti	4.5 - 10 - 80 mm, 6.5 - 10 - 80 mm	$250.00

ZI151	Periarticular Plates	Periarticular 4.5mm Self Tapping Screws - Stainless Steel	26 - 90mm	$125.00

ZI204	Zimmer ECT Screws	4.5mm Cortical Screws	14 - 120mm	$67.00

ZI205	Zimmer ECT Screws	4.5mm Self tapping Cortical Screws	14 - 70mm	$70.00

ZI206	Zimmer ECT Screws	4.5 Malleo Screw	25 - 70mm	$65.00

ZI400	Cortical Screws	Screws- Cortical - Ti alloy	4.5/30 to 60mm	$142.00

ZI525	SIRUS Nail	Sirus Cervical Screws	6.5mm diam x 60 to 140mm in 5mm 	$219.00

increments

2 Rescue Screws

Advanced Surgical Design & Manufacture Ltd

AE090	Titan Plate & Screw System	Titan Rescue Screws	2 Rescue Screws	$220.00

2 Screws

Advanced Surgical Design & Manufacture Ltd

AE085	Titan Plate & Screw System	Titan X Drive Screws	2 Screws	$152.00

3 Screws

Advanced Surgical Design & Manufacture Ltd

AE086	Titan Plate & Screw System	Titan X Drive Screws	3 Screws	$228.00

4 Rescue Screws

Advanced Surgical Design & Manufacture Ltd

AE091	Titan Plate & Screw System	Titan Rescue Screws	4 Rescue Screws	$440.00

5 Screws

Advanced Surgical Design & Manufacture Ltd

AE088	Titan Plate & Screw System	Titan X Drive Screws	5 Screws	$380.00

Prostheses List by Category, Groups and Sponsor	Page 420 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6 Rescue Screws

Advanced Surgical Design & Manufacture Ltd

AE092	Titan Plate & Screw System	Titan Rescue Screws	6 Rescue Screws	$660.00

6 Screws

Advanced Surgical Design & Manufacture Ltd

AE089	Titan Plate & Screw System	Titan X Drive Screws	6 Screws	$456.00

Cannulated

Johnson & Johnson Medical Pty Ltd

DP099	Coventry Screw System S/S	Cannulated Screws	7.00 mm dia	$175.00	$521.00

DP102	Coventry Screw system 	Cannulated Screws	4mm and 4.50 mm	$90.00	$270.00

DP657	Small / Large  Fragment Set S/S	Malleolar Cann Cor Stainless Steel Screw - Stainless Steel 	25 - 70mm	$118.00

DP660	Small / Large Fragment Set S/S	Cannulated Screw Diameter partially threaded - Stainless 	Dia 4 x 10-60	$30.00

Steel

DP754	Small / Large Fragment Set S/S	Cannulated Screw Diameter	4mm x 10-60mm Length	$125.00

Smith & Nephew Surgical Pty Ltd

SN438	Hip Pin	Cannulated	30-135mm	$203.00

SN635	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 16&20mm Thread, 20-	$201.00

135mm

SN636	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 32mm thread, 45-130mm	$228.00

SN637	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	5.5mm Diameter, 20-120mm	$143.00

SN639	Cannulated Screw	6.5mm  & 7.0mm screw Titanium	30 - 150mm Length	$163.00

SN641	Cannulated Screw	5.5mm screw Titanium	5.5mm Diameter 8x20mm- 32x120mm	$150.00

SN644	Cannulated Screw	6.4mm Cannulated screws	6.4mm diameter 65-125mm length	$221.00

Prostheses List by Category, Groups and Sponsor	Page 421 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical House

SU187	Newdeal Screws/Lock Screws	Screws - Cancellous, Cancellous cannulated, cortical, 	Cancellous/Cancellous cannulated - Diameter 	$180.00

cortical cannulated plus Lock screws	6.5mm, Length 20mm - 100mm + Lock

Screw, Cortical - Diameter 5.0mm, Length

25mm - 45mm + Lock Screw, Cortical -

Diameter 4.5mm, Length 14mm - 65mm +

Lock Screw, Cortical - Diameter 3.5mm,

Length 14mm - 32mm + Lo

Synthes Australia Pty Ltd

SY321	AO/ASIF Screw	2.4mm Cannulated Screw	Short thread 15-40mm; Long Thread 5-	$165.00

35mm

Zimmer Pty Ltd

ZI177	Zimmer Internal Fixation Systems: Cannulated Screw	Mini Magna-FX - Stainless Steel	4 & 5mm diameters	$216.00

ZI448	Cannulated Screw	Ti alloy	One size only	$145.00

cannulated, Locking

Smith & Nephew Surgical Pty Ltd

SN504	Russel Taylor	Femoral Locking screw	F/fem nl 30-90mm. F/r-t nl 25-90mm.	$80.00

cannulated, locking, special purpose

Smith & Nephew Surgical Pty Ltd

SN511	Russel Taylor	Locking Screw	4.5mm Diameter 20-65mm	$95.00

compression

Smith & Nephew Surgical Pty Ltd

SN774	IMHS CP	Captured Compression Screw, Stainless Steel	19mm	$93.00

custom, Locking

Smith & Nephew Surgical Pty Ltd

SN832	Peri-Loc UE	Self Tapping Cortex Locking Screw	2.5-2.7mm, 10-60mm length	$130.00

flexible, Locking

Smith & Nephew Surgical Pty Ltd

SN495	Intermedullary Nailing System	Foresight Locking Screw	2.7mm Diameter 8-18mm Length	$70.00

Prostheses List by Category, Groups and Sponsor	Page 422 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

lag

Johnson & Johnson Medical Pty Ltd

DP668	Small / Large Fragment Set S/S	CHS Lag Screw Stainless Steel 	Length 50-145mm	$224.00

Stryker Australia Pty Ltd

HW334	Omega Plus Compression Hip Screw System	Lag Screw - Super -  Stainless Steel	50-130mm length 	$260.00

lag, titanium

Johnson & Johnson Medical Pty Ltd

DP635	Small / Large  Fragment Set	Solid Cancellous Lag Screw  Partial Thread Titanium	4mm Dia 10-60mm Length	$227.00

Locking

Austofix

AX003	Austofix Intramedullary Screws	Humeral Head Screw, stainless steel	4.3mm	$105.00	$145.00

AX012	Austofix Intramedullary Screws	Proximal Thread Locking Screw, stainless steel	4.0mm & 4.5mm	$145.00

Biomet Australia Pty Ltd

BI249	SST Small Bone Locking Nail	Screw, Distal Fixator, Titanium	One size only	$115.00

Corin Australia Pty Ltd

CR071	Alpha Lock Plug Screw; Alpha Lock Locking Screw	Titanium	One Size Only	$120.00

Johnson & Johnson Medical Pty Ltd

JJ632	HI S3 Shoulder Fixation System	Screw, 90 Deg Locking Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 	$185.00	$265.00

& 38

Smith & Nephew Surgical Pty Ltd

SN762	IMHS CP	Captured locking screw	4.5mm x 22mm to 4.5mm x 64mm	$95.00

Stryker Australia Pty Ltd

SK216	Stryker Trauma Locking Nail System	Reconstruction Nail	Blocking Screw	$95.00

SK245	Gamma LN	Locking Screw - Titanium	5x25mm - 5x95mm	$155.00

SK395	Stryker Plating System	SPS Locking Plate System	Locking Screws:  3.0mm - 6.5mm diameter	$185.00

SK464	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 1.2 to 2.7mm, Length 2mm to 	$140.00

48mm

ST043	Stryker Trauma Locking Nail System: Locking Screw 	Titanium	20-120mm	$140.00

with & without shaft

Prostheses List by Category, Groups and Sponsor	Page 423 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical House

SU202	Panta Arthrodesis Nail	Locking Screw, Titanium	Diameter 5 mmLength - 20 - 110 mm	$79.00

Synthes Australia Pty Ltd

SY265	AO/ASIF Intermedullary Nails	Locking Screws	15 -150mm	$124.00

SY278	AO/ASIF Cortex Screws	Locking Head Screws	2.0mm 7.3mm	$180.00

Zimmer Pty Ltd

ZI524	SIRUS Nail	Sirus Locking Screws	3.9, 4.9mm x 24 to 100mm	$138.00

locking, cannulated

Smith & Nephew Surgical Pty Ltd

SN769	Peri-Loc	Fixation device, internal, locking and non-locking, stainless 	5.7mm	$150.00

steel, cortical and cancellous screw

locking, proximal, titanium

Smith & Nephew Surgical Pty Ltd

SN519	TriGen	Capture Reconstruction Screws Titanium	6.4mm diameter 65-125mm length	$219.00

locking, proximal, titanium, distal

Smith & Nephew Surgical Pty Ltd

SN520	TriGen	Captured Screws Titanium	4.5 & 5.0mm diameters, 20-110mm lengths 	$120.00

locking, titanium

Johnson & Johnson Medical Pty Ltd

JJ725	ALPS LFS	Cortical Titanium locking screws	8-100MM	$185.00

Smith & Nephew Surgical Pty Ltd

SN739	Trigen	Self Tapping Cortical Screw	20mm - 60mm	$95.00

Locking,cannulated

Austofix

AX022	Austofix Femoral & Tibial Nailing System	Tibial Nail 4.0/4.8; s-s	Dia 8 - 11mm, Lengths 260 - 420mm	$1,009.00

Medium, Anatomic

Smith & Nephew Surgical Pty Ltd

SN625	TC 100 Screw	Malleolar Bone Screw, Sterile	25x12mm - 70x32mm	$30.00

Prostheses List by Category, Groups and Sponsor	Page 424 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

pack of 4

Synthes Australia Pty Ltd

SY353	Cortex Screws	Cortex Screws pack of four	2.7mm - 5.0mm diameter, 5.0mm - 100mm 	$371.00

Length

Resorbable

Zimmer Pty Ltd

ZI447	Bioresorbable Screw	Polylactide	One size only	$260.00

set screw

Smith & Nephew Surgical Pty Ltd

SN508	Russel Taylor	Intermedullary Hip Screw (IMHS) Set screw	One size only	$60.00

subtrochanteric, lag, titanium

Johnson & Johnson Medical Pty Ltd

DY323	Ace Trochanteric Nail	Trochanteric Lag Screw Sterile	60 to 120mm	$256.00

Telescoping, locking

LMA PacMed Pty Ltd

PM112	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Neck L90 - 140mm; Primary Locking L20 - 	$190.00

75mm

PM114	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Revision Locking L20-75mm	$312.00

titanium

Johnson & Johnson Medical Pty Ltd

DP338	Tibial Nail System 	Solid Cortical Titanium Screw Unsterile or Sterile	6.5mm x 20 -120mm	$130.00

DP342	Femoral Nail System	Solid Cortical Screw Titanium Sterile or Unsterile	4.5 or 5.5mm x 20-80mm	$64.00

DP931	Small / Large Fragment Set 	Solid Cortical Screw Titanium	6.5mm x 40 - 100mm	$116.00

DY324	Ace Trochanteric Nail	Trochanteric Anti Rotation Screw Sterile	60 to 100mm	$96.00

JJ724	ALPS LFS	Cancellous Titanium non-locking screws	6.5mm x 110mm	$120.00

JJ726	ALPS LFS	Cortical Titanium non- locking screws	4.5mm x 14-70mm	$120.00

titanium, Cannulated

Smith & Nephew Surgical Pty Ltd

SN638	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	7.0mm Diameter, 30-150mm	$150.00

SN642	Cannulated Screw	4.0mm Screw Titanium	4.0mm Diameter 20-70mm length	$140.00

Prostheses List by Category, Groups and Sponsor	Page 425 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium, Locking

Johnson & Johnson Medical Pty Ltd

JJ680	Polyax Plating System	Cortical Locking Screw, Titanium	8-60mm	$220.00

6.7.3.5.7.2 Fixation screw, cortical or bone, otherwise unspecified, > 7 mm diameter

Advanced Surgical Design & Manufacture Ltd

AE098	Low Profile Tibial Screw	Titanium	7 - 10mm Diameter 25 -40mm Length	$240.00

Cannulated

Smith & Nephew Surgical Pty Ltd

SN643	Cannulated Screw	8mm Cannulated screws	8mm Diameter 65-125mm	$207.00

Zimmer Pty Ltd

ZI176	Zimmer Internal Fixation Systems: Cannulated Screw	Magna-FX - Stainless Steel	16 mm Thread - 30-30 mm; 32 mm Thread - 	$205.00

40-120 mm; Fully Threaded - 30-130 mm

Long

lag

Zimmer Pty Ltd

ZI322	ITST Intramedullary Nailing System - Lag screw	Stainless Steel Intertrochanteric Nailing System	Diameter 11mm: Length 70mm - 120mm	$205.00

subtrochanteric, lag

Smith & Nephew Surgical Pty Ltd

SN761	IMHS CP	Subtrochanteric lag screw	12.7mm x 70mm to 12.7mm x 140mm	$205.00

6.7.3.5.7.3 Fixation screw, cortical or bone, otherwise unspecified, < 4mm diameter

Advanced Surgical Technologies

AD316	Charlotte MTP Fusion System	MTP plate screw, stainless steel	2.7 & 3.2 dia. 8-24mm length in 2mm 	$95.00

increments

Darco Australia

DC029	Cannulated Screw	Titanium cannulated screw intended for use in conjunction 	3.5mm diameter x 34, 36 & 38mm	$155.00

with a plate for fixation of midfoot fusion

Prostheses List by Category, Groups and Sponsor	Page 426 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE214	Cortical Screw	Titanium	10-24mm x 2.3mm	$110.00

Johnson & Johnson Medical Pty Ltd

DP650	Small / Large  Fragment Set S/S	Cortical Screw - Stainless Steel	1.5 - 4mm x 22 - 44mm Length	$19.00

DP654	Small / Large  Fragment Set S/S	Cortical Screw Diameter - Stainless Steel	3.5 or 4.5 x 12 - 48mm Length	$15.00

DP655	Small / Large  Fragment Set S/S	Cortical Self Tapping Screw	3.5 - 6.5mm; 6 - 110mm Length	$14.00

DP725	Small / Large Fragment Set S/S	Cortical Screw Diameter	3.5 or 4.5 x 55 - 110mm	$53.00

DP820	Small / Large Fragment Set S/S	Cortical Screw Diameter	3.5 or 4.5 x 45 -100mm	$23.00

DP837	Peak Channelled Plate System	Cortical Bone Screw	3.5mm	$70.00	$118.00

Lifehealthcare Pty Ltd

LH324	I.T.S. Volar Angle Locking Plate (VAL)	Cortical Screw	D=3.5mm, Length=14mm-24mm (with 	$53.00

incremental of 2)

LH420	SBi Precise SD Screw	An anatomically contoured locking titanium plate and 	2.7mm Cortical, Locking, Self-Tapping 10-	$93.00

titanium alloy screw/peg system intended for fixation of 	30mm

distal radius fractures via open reduction	2.7mm Cortical, Non-Locking, Self-Tapping

10-30mm

2.7mm Lag, Non-Locking, Self-Tapping 10-

30mm

3.5mm Cortical, Locking, Self-Tapping 8-

20mm

3.5mm Cortical, Non-Locking, Self-Tapping

8-20mm

LMT Surgical Pty Ltd

LM061	BioTech Xpode 4	Screws titanium	6 - 70mm length	$180.00

LM063	ArgoMedical Pedofix	Titanium screws	2.7mm x 8 - 28mm Length	$50.00

Medical & Optical Instruments Australia Pty Ltd

MO143	Martin Bone Screw	Titanium	2.0mm diameter,20 to 24mm length	$53.00

MO144	Martin Bone Screw	Titanium	2.0mm diameter,26 to 32mm length	$55.00

MO148	Acumed Implantable Screw	Fixation Screw Titanium	2.7/3.5mm diameter 12 to 24mm length	$191.00

MO153	Acumed Congruent Plate System	Screw Titanium	2.1, 2.7, 3.5, 4.0mm diameter, 6mm to 28mm	$94.00

length

MO195	Acumed Congruent Plate System	Screw - titanium	2.7, 3.5, 4.0mm dia, 30 - 65 length	$120.00	$147.00

Prostheses List by Category, Groups and Sponsor	Page 427 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO252	Martin Fixation Device Internal - Screw	2.0mm diam. Pkt 2	4-11mm	$77.00	The benefit amount/minimum benefit amount is

for an individual product which comes as a

pack of two

MO253	Martin Fixation Device Internal - Screw	2.0mm diam. Pkt 2	12-20mm	$125.00	The benefit amount/minimum benefit amount is

for an individual product which comes as a

pack of two

MO254	Martin Fixation Device Internal - Screw	2.3mm diam. Pkt 2	5-11mm	$76.00	The benefit amount/minimum benefit amount is

for an individual product which comes as a

pack of two

MO255	Martin Fixation Device Internal - Screw	1.5-1.8mm diam. Pkt 2	3.5-9mm	$142.00	The benefit amount/minimum benefit amount is

for an individual product which comes as a

pack of two

MO256	Martin Fixation Device Internal - Screw	1.5-1.8mm diam. Pkt 2	10-15mm	$165.00	The benefit amount/minimum benefit amount is

for an individual product which comes as a

pack of two

MO273	Acumed Tap-Loc	Tap screws, Tap-Loc Screws	diameter 2.7mm - 3.5mm, length 36mm-	$120.00	$160.00

60mm

Smith & Nephew Surgical Pty Ltd

SN002	TC 100 3.5mm Cortical Screws	Hex, Cruciate or Self Tapping	45 - 85mm	$38.00

SN007	TC 100 3.5mm Cortical Screws	Sterile, Hex or Cruciate	10 - 40mm	$15.00

SN082	TC 100 2.7mm Cortical Screws	Hex, Cruciate or Self-tapping	6 - 55mm	$16.00

SN112	TC 100 2.0mm Cortical Screws	Self Tapping, Hex or cruciate	6 - 38mm	$19.00

SN766	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless Steel, 	3.5mm	$50.00

Cortical & Cancellous Screw  Size: 3.5mm

Stryker Australia Pty Ltd

SK103	Stryker Plating System	Cortical bone screws	2.7mm diameter, 22 - 80mm  lengths	$28.00

SK105	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 10-20mm	$15.00

SK106	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 22-38mm	$19.00

Prostheses List by Category, Groups and Sponsor	Page 428 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK107	Stryker Plating System	Cortical bone screws	3.5mm diameter, 40 - 150mm lengths	$28.00

SK392	Stryker Locking Plate System	Svariax  Screws & Pegs	1.7mm - 3.5mm diameter 10mm - 50mm long	$125.00

ST003	Stryker Plating System Screws - Cortical 2.7 & 3.5	Stainless Steel/Titanium	Diameter 2.7mm, screw length 8-20mm	$19.00

ST783	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, screw, Titanium	Diameter 2.3mm, Length 8mm - 22mm	$72.00

Surgical House

SU011	Tac-Pin (Threaded)	Compression pin-titanium	1.7mm diam 15-25mm length	$225.00

SU195	Calcanea Locking Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 45mm	$235.00

SU196	Calcanea Variable Angle Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 45mm	$159.00

Synthes Australia Pty Ltd

SY056	Cortex Screws	2.7mm - 5.0mm diameter, 5mm - 150mm 	$93.00

length

SY065	Cortex Screw	Cortex Screws	1.0mm - 2.6mm diameter, 5mm - 100mm 	$67.00

Length

Zimmer Pty Ltd

ZI152	Periarticular Plates	Periarticular 3.5mm Self Tapping Screws - Stainless Steel	10 - 80mm	$136.00

ZI199	Zimmer ECT Screws	1.5mm Cortical Screws	6 - 18mm	$54.00

ZI200	Zimmer ECT Screws	2.0mm Cortical Screws	6 - 24mm	$52.00

ZI201	Zimmer ECT Screws	2.7mm Cortical Screws	6 - 50mm	$54.00

ZI202	Zimmer ECT Screws	3.5mm Cortical Screws	10 - 130 mm	$60.00

Cannulated

Johnson & Johnson Medical Pty Ltd

DP658	Small / Large  Fragment Set S/S	Cortical Stainless Steel Cannulated Screw - Stainless Steel	3.5 x 8-70 mm	$98.00	$113.00

Synthes Australia Pty Ltd

SY049	AO/ASIF Screws	Mini cannulated screw	3.0mm dia / 8 - 40mm length	$179.00

SY071	AO/ASIF Screws Steel	cannulated screws	2.4mm - 4.0mm	$175.00

Prostheses List by Category, Groups and Sponsor	Page 429 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression

Smith & Nephew Surgical Pty Ltd

SN765	Peri-Loc	2.7mm & 4.0mm Non Locking Screw	10 - 80mm	$50.00

Locking

Darco Australia

DC004	Titanium Screw	Locking, non-locking or cannulated, for use only with 	8-40mm, 2.7mm or 3.5mm	$90.00

Darco titanium plates, self-tapping

Zimmer Pty Ltd

ZI486	Zimmer Periarticular Locking Screws	Stainless Steel Periarticular Locking screws to accompany 	2.4mm, 2.7mm, 3.5mm, 4.5mm, 5.5mm, and 	$170.00

Periarticular Locking Plates	8mm to 60mm in 2mm increments and 60mm

to 100mm in 5mm increments.

ZI548	Zimmer Universal Locking System	2.7mm Universal Locking Screw	Length:8mm; 10mm; 12mm; 14mm; 16mm; 	$170.00

18mm; 20mm; 22mm; 24mm; 26mm; 28mm;

30mm; 32mm; 34mm; 36mm; 38mm; 40mm;

42mm; 44mm; 46mm; 48mm; 50mm; 55mm;

60mm

Locking Titanium

Johnson & Johnson Medical Pty Ltd

JJ731	ALPS Distal Tibia	Polyaxial Titanium locking screws	20-60mm	$170.00

locking, compression

Smith & Nephew Surgical Pty Ltd

SN768	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, Cortical 	4.5mm	$150.00

& Cancellous Screw

medium

Smith & Nephew Surgical Pty Ltd

SN612	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	85mm +	$70.00

SN621	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	10 - 40mm	$22.00

medium, Locking

Smith & Nephew Surgical Pty Ltd

SN790	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, Cortical 	3.5mm, 10mm - 85mm length	$130.00

& Cancellous Screw

Prostheses List by Category, Groups and Sponsor	Page 430 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

medium, multi-directional

Smith & Nephew Surgical Pty Ltd

SN792	Peri-Loc	Fixation Device, Internal, Locking and Non-Locking, 	4.0mm, 80mm - 100mm length	$70.00

Stainless Steel, Cortical & Cancellous Screw

SN793	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless Steel, 	4.5mm, 10mm -110mm length	$70.00

Cortical & Cancellous Screw

SN794	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless Steel, 	4.5mm, 115mm -130mm length	$80.00

Cortical & Cancellous Screw

multi-directional

Smith & Nephew Surgical Pty Ltd

SN833	Peri-Loc UE	Self Tapping Cortex Non Locking Screw	2.5mm, 10-30mm length	$50.00

pack of 4

Synthes Australia Pty Ltd

SY352	Cortex Screws	Cortex Screws pack of four	1.00mm 2.6mm diameter, 5mm - 100mm 	$268.00

length

Resorbable

Biomet Australia Pty Ltd

BI278	Re-Unite Orthopaedic Screws	Screw, PGA/PLA	(2-5)mm dia x (5-70)mm	$320.00

ConMed Linvatec Australia Pty Ltd

LV066	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 6 - 10mm	$267.00	$345.00

LV067	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 12 - 20mm; Dia 2.7mm, 	$288.00	$365.00

length 6 -24mm

small

Smith & Nephew Surgical Pty Ltd

SN540	TC 100 1.5mm Screw	Hex, Cruciate or Self-tapping	6-24mm	$13.00

titanium

Johnson & Johnson Medical Pty Ltd

DP597	Small / Large  Fragment Set	Solid Cortical Screw Titanium	3.5 - 6.5mm; 10 - 120mm Length	$98.00	$140.00

titanium, Cannulated

Johnson & Johnson Medical Pty Ltd

DP598	Small / Large  Fragment Set	Cannulated Cortical. Bone Screw	3.5 mm length 50-60 mm	$98.00	$175.00

Prostheses List by Category, Groups and Sponsor	Page 431 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Titanium, cannulated, locking

Johnson & Johnson Medical Pty Ltd

JJ716	ALPS SFS	Cortical Titanium Bone Screws	2.7-3.5 x6-70MM	$120.00

Titanium, locking

Johnson & Johnson Medical Pty Ltd

JJ717	ALPS SFS	Cortical Locking Titanium Bone Screws	6-70MM	$170.00

6.7.3.5.8 Sliding Hip Fixation Screw

Austofix

AX025	Austofix Femoral & Tibial Nailing System	6.2/6.5mm Hip Screw; high nitrogen s-s	Dia 6.2 & 6.5mm; Lengths 70 - 120mm	$189.00

AX054	Tectona Hip Plate - Standard Lag Screw	Hip Lag Screw, sterile packed	12.5mm, 14.5mm	$200.00

AX055	Tectona Hip Plate - Lag Screw HA coated	Hip Lag Screw HA coated, sterile packed	12.5mm - lengths 50-145mm	$300.00

AX056	Tectona Hip Plate	Hip plate, locking with removable targeting jig, sterile packed	130, 135 and 140 degree, 2 to 8 hole	$800.00

Smith & Nephew Surgical Pty Ltd

SN479	Compression Hip Screw System	Hip Screw Clip (ambi only)	One size only	$81.00

Stryker Australia Pty Ltd

SK229	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook Compression Screw 	$63.00

25mm

SK462	Stryker Compression Hip Screw System	Omega3 compression Hip screw	130-150 degree, 2-12 gike, 47-207 mm	$875.00

Zimmer Pty Ltd

ZI157	Zimmer Internal Fixation Systems: Compression Hip Screw	Freelock/Versa-fx tube plate - Stainless Steel	2 holes - 20 holes	$695.00

centring sleave for Lag Screw

Smith & Nephew Surgical Pty Ltd

SN480	Compression Hip Screw System	Intermedullary Hip Screw (IMHS), Centering Sleeve, 	One size only	$115.00

Stainless Steel

compression

Smith & Nephew Surgical Pty Ltd

SN467	Compressing Screw	For Intermedullary and compression Hip Screw Systems	19mm & 28.5mm	$32.00

Prostheses List by Category, Groups and Sponsor	Page 432 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

compression, intermediate

Smith & Nephew Surgical Pty Ltd

SN488	Intermediate Osteotomy System	Compressing	One size only	$114.00

intermediate

Smith & Nephew Surgical Pty Ltd

SN490	Intermediate Osteotomy System	Plate (hip screw)	90-150Deg	$789.00

intermediate,lag

Smith & Nephew Surgical Pty Ltd

SN489	Intermediate Osteotomy System	Lag	35 mm - 85mm, 1 1/2" - 3-3/4"	$472.00

lag

Smith & Nephew Surgical Pty Ltd

SN481	Compression Hip Screw System	Lag Screw	55 - 140mm	$196.00

Stryker Australia Pty Ltd

HW333	Omega Plus Compression Hip Screw System	Lag Screw - Standard -  Stainless Steel	50-130mm length 	$195.00

Synthes Australia Pty Ltd

SY054	AO/ASIF Plates	DHS/DCS lag screw	50-145mm L	$247.00

Zimmer Pty Ltd

ZI158	Zimmer Internal Fixation Systems: Compression Hip Screw	Freelock/Versa-fx lag screw - Stainless Steel	50 mm - 150 mm long	$247.00

Locking

Synthes Australia Pty Ltd

SY110	AO/ASIF Plates	DHS/DCS locking device screw	One size only	$504.00

long

Smith & Nephew Surgical Pty Ltd

SN470	Compression Hip Screw System	Ambi Standard Barrel Plates	260mm+, 12-14 slot	$660.00

SN475	Compression Hip Screw System	Classic Standard Barrel Plates	260mm+, 12-14 slot	$660.00

long, supracondylar

Smith & Nephew Surgical Pty Ltd

SN478	Compression Hip Screw System	Classic Supracondylar Plate	90-95 6-12SL	$740.00

Prostheses List by Category, Groups and Sponsor	Page 433 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

medium

Smith & Nephew Surgical Pty Ltd

SN469	Compression Hip Screw System	Ambi Standard Barrel Plates	100mm -220mm, 4-10 slot	$500.00

SN471	Compression Hip Screw System	Ambi Short Barrel Plates	100mm, 4-5 slot	$440.00

SN476	Compression Hip Screw System	Classic Short Barrel Plates	100 - 120mm	$465.00

Pediatric

Smith & Nephew Surgical Pty Ltd

SN493	Paediatric Osteotomy System	Plate (hip screw)	With Prox slot 90D - 140D	$937.00

pediatric, lag

Smith & Nephew Surgical Pty Ltd

SN492	Paediatric Osteotomy System	Lag Screw	22mm- 40mm	$421.00

short

Smith & Nephew Surgical Pty Ltd

SN468	Compression Hip Screw System	Ambi Standard Barrel Plates	60mm -80mm, 2-3 slot	$305.00

SN473	Compression Hip Screw System	Classic Standard Barrel Plates	60-140mm, 2-3 slot	$338.00

6.7.3.6.1.1 Cable System, Cable

Biomet Australia Pty Ltd

BI253	BMP Cable System	Cable Chrome Cobalt	1.6mm or 2.0mm	$348.00

BI256	BMP Cable System	Cable, Stainless Steel	1.6mm or 2.0mm	$320.00

Medical & Optical Instruments Australia Pty Ltd

MO165	Osteo Clage Cable System	CoCr, Stainless Steel Cable Sleeve	2mm	$240.00

MO166	Osteo Clage Cable System	CoCr, Stainless Steel Cable	850mm	$336.00

Stryker Australia Pty Ltd

HW300	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable -  Stainless Steel	1.6 and 2mm 	$250.00

HW309	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable -  Vitallium	1.6 and 2mm	$355.00

SK316	Secure Strand Cable System	Bone Reapproximation Cable	Diameter 1.0mm	$260.00

Zimmer Pty Ltd

ZI161	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Stainless Steel	1.3 mm	$330.00

Prostheses List by Category, Groups and Sponsor	Page 434 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI163	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Plate Cable Stainless Steel	610 mm long	$367.00

ZI164	Zimmer Internal Fixation Systems: Cable System	Cable-Ready GTR Distal end Cable - Cobalt Chrome	635 mm long	$450.00

ZI173	Zimmer Internal Fixation Systems: Cable System	Cable-Ready GTR Cable - Proximal 	635mm long	$505.00

ZI174	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Stainless Steel Cable	1.8mm	$407.00

6.7.3.6.1.2 Cable System, Cable Sleeve

Biomet Australia Pty Ltd

BI254	BMP Cable System	Cable Sleeve, Chrome Cobalt, Stainless Steel	One Size only	$240.00

Johnson & Johnson Medical Pty Ltd

DP363	Control Cable	Control Cable sleeve 	One size only	$240.00

Stryker Australia Pty Ltd

HW301	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Sleeve -  Stainless Steel	1.6 and 2mm 	$195.00

HW310	Dall Miles Cable Grip System - Vitallium	Vitallium: Sleeve -  Vitallium	1.6 and 2mm	$225.00

HW316	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve Beaded -  Vitallium	1.6 and 2mm	$155.00

6.7.3.6.1.3 Cable System, Cable and Sleeve

Johnson & Johnson Medical Pty Ltd

DP364	Control Cable with Sleeve	Control Cable with sleeve 	One size only	$350.00

Stryker Australia Pty Ltd

HW303	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable & Sleeve -  Stainless Steel 	1.6 and 2mm 	$360.00

HW304	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable & Sleeve Beaded -  Stainless Steel	1.6 and 2mm 	$330.00

HW315	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve -  Vitallium	1.6 and 2mm	$570.00

Prostheses List by Category, Groups and Sponsor	Page 435 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.6.2.1 Cable with single crimp

Smith & Nephew Surgical Pty Ltd

SN443	Reis	Cable and Swage	1.6 & 2.0mm	$330.00

Synthes Australia Pty Ltd

SY377	Orthopaedic Cable System	Cable with Crimp	1.0mm - 1.7mm, 750mm	$650.00

6.7.3.6.3.1 Cable system clamp, with cable

Smith & Nephew Surgical Pty Ltd

SN732	Accord	Orthopaedic Cable System, SS Cable w/clamp	2.0mm	$621.00

6.7.3.6.4.1 Cable system trochanteric plate

Global Orthopaedic Technology

GO197	Iso-Elastic Supercable Trochanteric Grips & Cable 	Trochanteric Grips - Titanium	Short 50mm, 2 Hole Plate 135mm, 4 Hole 	$4,000.00

Plates System	Plate 190mm, 6 Hole Plate Straight, Right,

Left 245mm

Stryker Australia Pty Ltd

SK398	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	100mm - 200mm	$2,550.00

SK399	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	110mm - 210mm	$4,000.00

includes two cables

Stryker Australia Pty Ltd

SK402	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 Cables	100mm - 200mm	$3,652.00

SK403	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 Cables	110mm - 210mm	$5,102.00

6.7.3.6.4.2 Cable system plate, 5 hole

Smith & Nephew Surgical Pty Ltd

SN730	Accord	Orthopaedic Cable System, Titanium Plate	150-250mm	$2,550.00

Stryker Australia Pty Ltd

HW305	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:5 hole -  Stainless Steel	6 inches	$640.00

Prostheses List by Category, Groups and Sponsor	Page 436 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI167	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 6 Hole Plate - Stainless Steel	187mm long	$660.00

compression

Biomet Australia Pty Ltd

BI258	BMP Cable System	Dynamic Compression Plate, 3 hole, Stainless Steel	One size only	$850.00

BI259	BMP Cable System	Dynamic Compression Plate, 5 hole, Stainless Steel	One size only	$1,200.00

6.7.3.6.4.3 Cable system plate, 7 hole

Biomet Australia Pty Ltd

BI260	BMP Cable System	Dynamic Compression Plate, 7 hole, stainless steel	One size only	$1,638.00

Stryker Australia Pty Ltd

HW306	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:7 hole -  Stainless Steel	8 inches	$804.00

Zimmer Pty Ltd

ZI168	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 8 Hole Plate - Stainless Steel	246mm long	$710.00

6.7.3.6.4.4 Cable system plate, 9 hole

Biomet Australia Pty Ltd

BI261	BMP Cable System	Dynamic Compression Plate, 9 hole, Stainless Steel	One size only	$1,800.00

Stryker Australia Pty Ltd

HW307	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:9 hole -  Stainless Steel	10 inches	$819.00

Zimmer Pty Ltd

ZI169	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 10 Hole Plate - Stainless Steel	305mm long	$790.00

Prostheses List by Category, Groups and Sponsor	Page 437 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.6.4.5 Cable system plate, 11 hole

Stryker Australia Pty Ltd

HW308	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:11 hole -  Stainless Steel	12 inches	$866.00

6.7.3.6.5.2 Cable system pin

Zimmer Pty Ltd

ZI170	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Pin - Stainless Steel	35, 40, 45, 65mm long	$645.00

6.7.3.6.5.3 Cable system attachment button

Smith & Nephew Surgical Pty Ltd

SN733	Accord	Orthopaedic Cable System, SS Button Plate Adapter	One Size Only	$355.00

Stryker Australia Pty Ltd

HW313	Dall Miles Cable Grip System - Vitallium	Vitallium: Grooved Button -  Vitallium	One size only	$240.00

Zimmer Pty Ltd

ZI234	Cable System 	Cable Ready, Cable Button	2,5mm - 5,0mm	$183.00

6.7.3.6.5.5 Cable system bar

2 per pack

Johnson & Johnson Medical Pty Ltd

DP858	Songer Cable System  - Stainless Steel	Flanged Crimp/Flat Bar (Pk2) or 2 Hole Bar (Pk 2)	One size only	$185.00

6.7.3.6.7.1 Cable system, grip, standard

Biomet Australia Pty Ltd

BI255	BMP Cable System	Trochanteric Grip, Chrome Cobalt	1.6mm or 2.0mm	$545.00

Stryker Australia Pty Ltd

HW302	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Trochanter Grip -  Stainless Steel	Small, Medium, Large	$545.00

HW311	Dall Miles Cable Grip System - Vitallium	Vitallium: Trochanter Grip -  Vitallium	Small, Medium and Large	$545.00

Prostheses List by Category, Groups and Sponsor	Page 438 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.3.6.7.2 Cable system, grip with 2 cables

includes two cables

Stryker Australia Pty Ltd

SK400	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Stainless Steel Cables	Small, Medium and Large	$1,400.00

SK401	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Chrome Cobalt Cables	Small, Medium and Large	$1,750.00

6.7.3.6.8.1 Cable system, total, standard grip

Smith & Nephew Surgical Pty Ltd

SN735	Accord	Orthopaedic Cable System, Std Cable Grip	85-265mm	$2,000.00

Synthes Australia Pty Ltd

SY378	Trochanteric Reattachment Device	Titanium alloy reattachment device with cables	Standard and Long	$2,500.00

2 cables

Zimmer Pty Ltd

ZI290	Cable Ready Cable Grip System	Titanium - comes with two cables (Co Cr), Integral Crimps	23 x 53mm, 1.8 x 635mm	$1,736.00

4 cables

Zimmer Pty Ltd

ZI297	Cable Ready Cable Grip System	Titanium	5 hole GTR with 4 cables	$4,050.00

ZI298	Cable Ready Cable Grip System	Titanium	2 hole GTR with 4 cables	$2,600.00

ZI299	Cable Ready Cable Grip System	Titanium	4 hole GTR with 4 cables	$3,750.00

6.7.3.6.8.2 Cable system, total, small grip

Global Orthopaedic Technology

GO092	C-Fix Cable Fixation System	Titanium Leader Cable Assembly	1-1.3mm	$1,200.00

Smith & Nephew Surgical Pty Ltd

SN731	Accord	Orthopaedic Cable System, Sm Cable Grip	75-255mm	$1,400.00

Prostheses List by Category, Groups and Sponsor	Page 439 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.4 Soft tissue

Device Technologies Australia Pty Ltd

DE288	Swivelock	Twist- in knotless suture anchor	4.5mm and 5.5mm diameters	$600.00

Zimmer Pty Ltd

ZI597	NCB Plating System	NCB Spacers & Screw Caps	1, 2 and 3	$145.00

6.7.4.1 Ligament Reconstruction Prosthesis

Corin Australia Pty Ltd

CR032	Lars Ligamanet Augmentation reconstruction system	Woven polyester prosthetic ligaments	60,80,100 & y shaped fibres	$4,156.00

Johnson & Johnson Medical Pty Ltd

DY136	Restore Orthobiologic Soft Tissue Implant	Restore Patch	One size only	$5,935.00

LMT Surgical Pty Ltd

LM070	Surgilig	Acromicoclavicular Joint Reconstruction Ligament	7-20cm length	$4,156.00	$4,200.00

LM085	ABC Prosthetic Ligament	Cruciate prosthesis carbon fibre/polyester, ABC 	12.5cm - 18.5cm; ABC Carbon Polyester & 	$3,600.00

Carbon/Polyester Medial/Lateral Collateral Ligament, ABC	ABC Polyester/Polyester - one size only

Polyester/ Polyester Medial/Lateral Collateral Ligament

6.7.4.2.1 Tendon Reconstruction prosthesis, artificial tendon

Surgical House

SU174	SEM Rotator Cuff Tendon and Prosthesis for Tenoplasty	Polyester	1, 2, 3, 4	$3,550.00

6.7.4.2.2 Tendon Reconstruction prosthesis, sheath

Advanced Surgical Technologies

AD164	WMT Orthopaedic Implants Hand	Silastic tendon spacer	24in long, 3, 4, 5, 6mm wide	$310.00

Prostheses List by Category, Groups and Sponsor	Page 440 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.4.3 Cartilage Repair system

Device Technologies Australia Pty Ltd

DE126	Chondral Dart	Polylactide Compositition	Length 18mm	$289.00	$409.00

6.7.4.4 Collagen Meniscus implant

Zimmer Pty Ltd

ZI459	Collagen Meniscus Implant	Porous collagen-glycosaminoglcan matrix	7.5mm, 9mm	$5,000.00

6.7.4.5 Rotator cuff prosthesis

Arthrocare Australasia Pty Ltd

AF004	AutoCuff System	Magnum Knotless Implant - w/ inserter handle	One Size Only	$730.00

Johnson & Johnson Medical Pty Ltd

JJ128	Cuff Link 	High density plastic link	8mm	$579.00

JJ677	Versalok Bone Anchor System	Anchor, sterile, pre-mounted on inserter shaft	One size only	$600.00

Artroscopic

Arthrocare Australasia Pty Ltd

AF005	Magnum Arthroscopic Knotless Anchor Implant	Arthroscopically implanted stainless steel suture anchor for 	1 - 2.8mm x 8.0mm x 5.0mm;  2 - 2.8mm x 	$690.00

rotator cuff or labrum repair	13mm x 7.2mm

6.7.5 Orthopaedic reconstruction, general

Global Orthopaedic Technology

GO180	Actifuse Flow	Actifuse Flow	3ml	$1,080.00

GO181	Actifuse Flow	Actifuse Flow	5ml	$1,300.00

GO182	Actifuse Flow	Actifuse Flow	1.5ml	$1,080.00

GO183	Actifuse ABX MIS	Actifuse ABX MIS, Applicator and Cartridge, 7.5ml	7.5ml	$2,300.00

GO184	Actifuse ABX MIS	Actifuse ABX MIS, Refill Cartridge, 7.5ml	7.5ml	$1,560.00

Prostheses List by Category, Groups and Sponsor	Page 441 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP064	Osteovation	Calcium Phosphate Bone substitute kit, quick set, 	2-3cc	$1,080.00	$2,750.00

EX/Impact/Inject

SP065	Osteovation	Calcium Phosphate Bone sbustitute kit; Quick Set; 	5cc	$1,300.00	$3,200.00

EX/Impact/Inject

SP066	Osteovation	Calcium Phosphate Bone substitute kit; Quick Set; 	10cc	$2,300.00	$4,600.00

EX/Impact/Inject

6.7.5.1.1 Orthopaedic reconstruction, General, Bone cement, vertebroplasty

Johnson & Johnson Medical Pty Ltd

DY084	A-BSM Bone Cement	2.5g	$1,914.00

need to check if vertebroplasty cement

Johnson & Johnson Medical Pty Ltd

DY085	A-BSM Bone Cement	5.0g	$2,670.00

DY086	A-BSM Bone Cement	10.0g	$3,833.00

6.7.5.1.2 Orthopaedic reconstruction, General, Bone cement, 50grams or less

Biomet Australia Pty Ltd

BI242	Biomet Plus Bone Cement	Bone Cement, PMMA	40gm	$147.00

BI846	Generation 4 Bone Cement	Bone Cement, Methacrylate- Styrene copolymer	40gm pack	$400.00

Global Manufacturing Technology Pty Ltd

GM009	C-ment1, C-ment 3, Genta C-ment , Genta C-ment 3	Acrylic Bone Cement	40 grams	$215.00	$240.00

Heraeus Kulzer Australia Pty Ltd

HK003	Palamed	Single mix PMMA	40 grams	$174.00

HK005	Palacos or Palamed bone cement	Single mix PMMA	40g	$174.00

Johnson & Johnson Medical Pty Ltd

DP107	CMW Bone Cement	CMW Bone Cement Various  without Antibiotic	20, 40 grams	$174.00

JJ580	SmartSet HV High Viscosity Bone Cement	Methyl Methacrylate, Methly Acrylate Copolymer Bone 	40 Gram	$215.00

Cement

Prostheses List by Category, Groups and Sponsor	Page 442 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ581	SmartSet MV Endurance Medium Viscosity Bone 	PMMA, Styrene Copolymer Bone Cement	40 Gram	$137.00

Cement

Mathys Orthopaedics Pty Ltd

MA431	Cemfix	Acrylic bone cement for orthopaedic surgery	CEMFIX 1 Standard viscosity; CEMFIX 2 	$240.00

Low viscosity

Orthotech Pty Ltd

OH126	Cemex bone cement	1 mix Methylmethacrylate/Polymethylmethacrylate	1 mix 40g powder and 13.3g liquid	$260.00

Smith & Nephew Surgical Pty Ltd

SN667	Versabond Bone Cement	Methyl Methacrylate Methyl Acrylate Copolymer, 	40g	$137.00

Methylmethacrylate Homopolymer, Supplied as Powder

(copolymer) and liquid (monomer) in an ampule

Stryker Australia Pty Ltd

HW322	Surgical Simplex P Radiopaque Bone Cement	Polymethyl Methacrylate, Styrene Copolymer, Barium 	40 grams	$137.00

Sulfate

SK181	Simplex Enhancement System	Simplex Express PrePack	2 dose Simplex Antibiotic with Mixevac	$184.00

SK458	Simplex P Speed Set Bone Cement	PMMA Bone Cement	40g pack	$200.00

Synthes Australia Pty Ltd

SY281	Norian SRS Reactant Pack	Cement Reactant Pack	5cc	$1,745.00

SY331	Norian CRS/SRS Fast Set Putty	5cc	$1,694.00

SY332	Norian CRS/SRS Fast Set Putty	10cc	$2,420.00

William A Cook Australia Pty Ltd

WC145	Osteo-Firm	Osteo Bone cement - Osteo Firm	One size only	$170.00

10cc

Synthes Australia Pty Ltd

SY282	Norian SRS Reactant Pack	Cement Reactant Pack	10cc	$2,493.00

Antibiotic

Biomet Australia Pty Ltd

BI243	Refobacin Plus Bone Cement	Bone Cement, Gentamicin, PMMA	40gm	$215.00

BI844	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	40 gm (2 x 20 gm)	$215.00

Prostheses List by Category, Groups and Sponsor	Page 443 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI879	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	20gm (1 x 20 gm)	$180.00

Global Manufacturing Technology Pty Ltd

GM018	C-ment 1, C-ment 3, Genta C-ment, Genta C-ment 3	Acrylic Bone Cement with Gentamicin	40 grams	$215.00	$240.00

Heraeus Kulzer Australia Pty Ltd

HK004	Palamed G	Single Mix PMMA with with gentamicin	40 grams	$215.00

Johnson & Johnson Medical Pty Ltd

DP108	CMW Antibiotic Bone Cement 	CMW Bone Cement Various with Antibiotic	20, 40 grams	$184.00

JJ577	SmartSet GMV Endurance Medium Viscosity Antibiotic 	PMMA, Styrene Copolymer Bone Cement With Gentamicin	40 Gram	$215.00

Bone Cement

JJ578	SmartSet GHV High Viscosity Antibiotic Bone Cement	Methyl Methacrylate, Methyl Acrylate  Copolymer Bone 	40 Gram	$229.00

Cement With Gentamicin

Orthotech Pty Ltd

OH127	Cemex-genta bone cement	1 mix Methylmethacrylate/ Polymethylmethacrylate with 	1 mix 40g powder and 13.3g liquid	$350.00

gentamiacin

Stryker Australia Pty Ltd

HW320	Antibiotic Simplex Bone Cement with Tobramycin	Polymethyl Methacrylate, Styrene Copolymer, Barium 	40 grams	$215.00

Sulfate

6.7.5.1.4 Orthopaedic reconstruction, General, Bone cement, standard, 80cc or 80grams or greater

Biomet Australia Pty Ltd

BI847	Generation 4 Bone Cement	Bone Cement, Methacrylate- Styrene copolymer	80gm pack	$500.00

Johnson & Johnson Medical Pty Ltd

DP446	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with Non - Antibiotic 	50, 80 grams	$484.00

Bone Cement

JJ582	SmartMix Cemvac Prefilled Syringe & SmartMix 	SmartMix Vacuum Mixing System Preloaded With Non 	60g to 100g	$484.00

Prefilled Bowl	Antibiotic Bone Cement

Antibiotic

Biomet Australia Pty Ltd

BI845	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	80 gm (2 x 40 gm)	$275.00

Prostheses List by Category, Groups and Sponsor	Page 444 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ583	SmartMix Cemvac Perfilled Syringe & SmartMix 	SmartMix Vacuum Mixing System Preloaded With 	60g to 100g	$500.00

Prefilled Bowl With Antibiotic Cement	Antibiotic Bone Cement

Antibiotic, pre-loaded

Johnson & Johnson Medical Pty Ltd

DP445	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with Antibiotic Bone 	50, 80 grams	$500.00

Cement

6.7.5.2 Bone Substitute

Austspine Pty Ltd

AJ034	Jectos 20cc	Injectible synthetic bone graft substitute	20cc	$1,600.00

Energy Orthopaedics Pty Ltd

EO051	ENGlpore	Granules (size 1,0-2,5 mm) 15 cc                                	Granules (size 1,0-2,5 mm) 15 cc                   	$980.00

Granules (size 2,5-4,0 mm) 15 cc	             Granules (size 2,5-4,0 mm) 15 cc

EO052	SINTlife	Nanostructured Paste/putty in syringe    5cc	5 cc	$1,300.00

EO054	SINTlife	Nanostructured Paste/putty in syringe   10 cc	10 cc	$2,300.00

EO055	ENGlpore	Granules (size 1,0-2, 5 mm) 5 cc                                  	Granules (size 1,0-2, 5 mm) 5 cc                    	$590.00

Granules (size 2, 5-4, 0 mm)5 cc	              Granules (size 2, 5-4, 0 mm)5 cc

Medtronic Australasia Pty Ltd

MC853	Nanostim	Synthetic Bone Paste	1cc	$832.00

MC854	Nanostim	Synthetic Bone Paste	2cc	$1,080.00

MC855	Nanostim	Synthetic Bone Paste	5cc	$1,300.00

MC856	Nanostim	Synthetic Bone Paste	10cc	$2,300.00

6.7.5.2.1 Bone Substitute, < = 1 gram or 1cc

Orthotech Pty Ltd

OH003	Pro-Osteon Implants 500	Granules	10mm x 10mm x 10mm (1cc) Block	$430.00

OH016	Pro-Osteon Implants 200	Block	0.8cc x 5 Syringes Grannules	$200.00

Prostheses List by Category, Groups and Sponsor	Page 445 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY004	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute	1g	$174.00

Zimmer Pty Ltd

ZI192	Bone Graft Substitute	Triosite Granules (0.5 - 1.0 mm grain sizes)- HATCP	1 g Tube	$260.00

< = 0.5cc

Henry Schein/Halas Pty Ltd

HD001	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.25gm	$99.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

HD002	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.5gm	$170.00	$176.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

LMA PacMed Pty Ltd

PM001	Perioglas: 	Bioglass granules	0.5cc	$85.00	$107.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY005	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute	0.5g	$121.00

Zimmer Pty Ltd

ZI194	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 4 - HATCP	10mm	$130.00

ZI195	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 4 - HATCP	20mm	$185.00

ZI196	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 2 - HATCP	10mm	$182.00

ZI197	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 2 - HATCP	20mm	$247.00

6.7.5.2.2 Bone Substitute, >1cc or 1gm, to <= 5cc or 5gm

Advanced Surgical Technologies

AD208	OSTEOSET - BVT KIT (STANDARD CURE, FAST 	Mini Bead Kit	5cc Standard/Fast Cure	$840.00

CURE)

Prostheses List by Category, Groups and Sponsor	Page 446 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD221	Osteoset Bone Void Filler	Calcium Sulphate	3mm & 4.8mm Pellets 5cc	$735.00

AD223	Osteoset Bone Void Filler	Calcium Sulphate	4.8mm Syringe 5cc	$735.00

AD227	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler, Includes 	5cc	$1,795.00

Syringe

Energy Orthopaedics Pty Ltd

EO041	EUROBONE - Synthetic Bone Substitute	EUROBONE	5cc	$1,500.00

Global Manufacturing Technology Pty Ltd

GM037	Callos Bone Void filler	Calcium Phosphate	5cc	$1,400.00

Global Orthopaedic Technology

GO055	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based bone matrix	4cc block	$1,000.00

GO060	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based bone matrix	4cc block	$1,200.00

GO064	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based bone matrix	4cc block	$1,200.00

GO162	Actifuse ABX Easyfill Putty	Actifuse ABX Easyfill Putty - A silicate substituted synthetic	5ml	$1,300.00	$1,540.00

bone graft

Johnson & Johnson Medical Pty Ltd

DP447	Biosel 2	BIOSEL II Dose 5G (Calcium Phosphates)	5g	$695.00

Lifehealthcare Pty Ltd

LH351	Kainos	Granules	1x5cm3	$590.00

LH357	Kainos	Blocks	4-8x13x14	$760.00

LMT Surgical Pty Ltd

LM091	FixEx Bone Cement	Calcium Phosphate Bone Cement	5cc	$1,200.00

Medical & Optical Instruments Australia Pty Ltd

MO262	STIMULAN	Calcium Sulphate Pellets	3mm pellets 5cc	$450.00

MO267	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 5cc Dispenser	$730.00

MO268	STIMULAN	Calcium Sulphate Injectable Paste incl. powder mixing 	5cc	$1,200.00

solution

MO275	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone Graft	2mm Granules 5 cc	$540.00

Prostheses List by Category, Groups and Sponsor	Page 447 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC669	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	5cc	$936.00

Supplement

Orthotech Pty Ltd

OH004	Pro-Osteon Implants 500	Granules	10mm x 10mm x 40mm (4cc) Block	$1,325.00

OH055	Pro Osteon Implants 200	Granules, Porous Hydroxyapatite Bone Void Filler	5cc Syringe	$280.00

Stryker Australia Pty Ltd

SK191	VITOSS - Synthetic Cancellous bone void filler	Beta-tricalcium phosphate	5cc morsels	$588.00

SK466	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	5cc Foam strip (25x50x4)	$1,578.00

Cancellous Boane Void Filler	tricalcium phosphate (β-TCP) and Type I bovine collagen.

SK478	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	5cc Foam Pack	$1,579.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen.

SK480	HydroSet Injectable Calcium Phosphate Cement	Injectable, rapid set, calcium phosphate bone substitute  kit	5cc	$3,200.00

Surgical Specialties

SQ039	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	5ml	$590.00

Synthes Australia Pty Ltd

SY003	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute	5g	$577.00

SY358	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute-	F1, 2, 3, 4, 5 & C1, 2, 3, 4, 5	$550.00

Cervios Cylinder

SY450	chronOS ß-TCP	Porous  ß-Tricalcium Phosphate Bone Graft Substitute & 	50 mm x25 mm x 3 mm	$1,185.00

Resorbable Polymer - Strip

Zimmer Pty Ltd

ZI193	Bone Graft Substitute	Triosite Granules (2 - 3mm grain size) - HATCP	5g Tube	$670.00

ZI198	Bone Graft Substitute	Triosite Oesteotomy Wedges - HATCP	6 - 12mm	$745.00

< = 3cc

Advanced Surgical Technologies

AD222	Osteoset Bone Void Filler	Calcium Sulphate	3mm Syringe 1.25cc	$566.00

Prostheses List by Category, Groups and Sponsor	Page 448 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE130	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	0.5 - 3mm (1- 2cc)	$255.00

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta (TCP)

40%, granules

Global Orthopaedic Technology

GO161	Actifuse ABX Easyfill	Actifuse ABX Easyfill - A silicate substituted synthetic bone	1.5mL to 4mL	$1,080.00	$1,200.00

graft

Henry Schein/Halas Pty Ltd

HD003	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	2.0gm	$529.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Lifehealthcare Pty Ltd

LH349	Kainos	Granules	1 x 2cm3	$265.00

LH350	Kainos	Granules	1 x 3cm3	$385.00

Medical & Optical Instruments Australia Pty Ltd

MO266	STIMULAN	Calcium Sulphate Pellets	3mm pellets 1.5cc Dispenser	$450.00

Medtronic Australasia Pty Ltd

MC415	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	1-3cc	$832.00

Supplement

Orthotech Pty Ltd

OH014	Pro-Osteon Implants 200	Block	20 x 15 x 10mm Block	$825.00

Stryker Australia Pty Ltd

SK476	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	1.2cc Foam Pack	$500.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen

SK477	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	2.5cc Foam Pack	$850.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen

SR061	HydroSet Injectable Calcium Phosphate Cement	Injectable, rapid set, calcium phosphate bone substitute kit	3cc	$2,750.00

Surgical Specialties

SQ038	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	2.5ml	$430.00

Prostheses List by Category, Groups and Sponsor	Page 449 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY333	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute	2.5cc	$400.00

< = 3cc, carboxymethylcellulose putty additive

Surgical Specialties

SQ041	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	2.5-3ml	$860.00

carboxymethylcellulose putty additive

Stryker Australia Pty Ltd

SR047	Calstrux	Porous tri-calcium phosphate granules and 	5cc	$1,578.00

carboxymethylcellulose, sodium (CMC) putty additive

Surgical Specialties

SQ042	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	5ml	$1,230.00

formed

Stryker Australia Pty Ltd

SK472	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Small Cylinders Diameter 10x30mm 	$1,578.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen	4.8cc/pair (2)

6.7.5.2.3 Bone Substitute, >5cc or 5gm, <=12cc or 12gm

Advanced Surgical Technologies

AD151	Osteoset	Calcium Sulphate	4.8mm pellets 10cc	$1,080.00

AD304	Osteoset T Pellets	Calcium sulphate with tobramycin	10cc	$1,490.00

AD327	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	7cc	$1,785.00

Biomet Australia Pty Ltd

BI936	GPS Bone Biologics	TCP Granules/GPS, TCP	10ml	$1,936.00

BI946	Calcibon	Granules or paste, TCP	10cc	$1,080.00

Device Technologies Australia Pty Ltd

DE082	Hatric Bone Substitute	Ceramic	7mm - 15mm	$1,560.00

Prostheses List by Category, Groups and Sponsor	Page 450 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DE135	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	1- 3mm (10cc)	$510.00

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta (TCP)

40%, granules

DE138	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	5-12mm to 15 - 13mm	$615.00

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta (TCP)

40%, granules

Energy Orthopaedics Pty Ltd

EO042	EUROBONE - Synthetic Bone Substitute	EUROBONE	10cc	$1,800.00

Global Manufacturing Technology Pty Ltd

GM036	Callos Bone Void Filler	Calcium Phosphate	10cc	$2,050.00

Global Orthopaedic Technology

GO051	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	10ml, 2-5 & 5-10mm	$1,200.00

GO057	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	10ml, 2-5 & 5-10mm	$1,430.00

GO061	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based bone matrix	10cc block	$1,300.00

GO062	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	10ml. 2-5mm	$1,000.00

GO065	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based bone matrix	10cc block	$2,300.00

GO066	ApaPore	Actifuse. Sterile, hydroxyapatite-based bone matrix	 1-2ml to 10cc	$1,080.00	$1,200.00

GO163	Actifuse ABX Easyfill Putty	Actifuse ABX Easyfill Putty - A silicate substituted synthetic	10ml	$2,300.00

bone graft

Lifehealthcare Pty Ltd

LH352	Kainos	Granules	1x6cm3	$650.00

LH353	Kainos	Granules	1x10cm3	$920.00

LMT Surgical Pty Ltd

LM067	Crossbone	Bone substitute wedges	6-15mm height	$1,430.00	$1,450.00

Prostheses List by Category, Groups and Sponsor	Page 451 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO259	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 10cc	$580.00

MO263	STIMULAN	Calcium Sulphate Pellets	3mm pellets 10cc	$600.00

MO264	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 10cc	$600.00

MO269	STIMULAN	Calcium Sulphate Injectable Paste incl. powder mixing 	10cc	$1,800.00

solution

MO276	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone Graft	2mm Granules10 cc	$750.00

Medtronic Australasia Pty Ltd

MC670	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	10cc	$1,352.00

Supplement

Orthotech Pty Ltd

OH005	Pro-Osteon Implants 500	Granules	10 x 20 x 50mm (10cc) Block	$2,540.00

OH008	Pro-Osteon Implants 500	Granules	10cc	$1,110.00

Stryker Australia Pty Ltd

SK184	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	1.2cc dowel	$588.00

SK188	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	10cc morsels and 10cc dowels	$1,250.00

SK189	CORTOSS - Synthetic cortical bone void filler	-	10cc CORTOSS kit	$1,535.00

SK467	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	10cc Foam strip (25x100x4)	$1,988.00

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine collagen.

SK468	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	10cc Foam strip (25x50x8)	$1,988.00

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine collagen.

SK479	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	10cc Foam Pack	$1,988.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen

SR054	HydroSet Injectable Calcium Phosphate	Injectable, rapid set, calcium phosphate bone substitute kit	10cc	$4,600.00

Prostheses List by Category, Groups and Sponsor	Page 452 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical House

SU176	MBCP Wedge	Composition - 60% hydroxyapatite / 40% Ca3(PO4)2 To 	MBCP Wedge - 6 degrees to 14 degrees	$1,430.00

be used in combination with Surfix Opening Wedge HTO

Plates and screws/lock screws

Surgical Specialties

SQ040	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	10ml	$1,000.00

Synthes Australia Pty Ltd

SY002	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute	10g	$1,080.00

SY451	chronOS ß-TCP	Porous ß-Tricalcium Phosphate Bone Graft Substitute & 	50-100 mm x25 mm x 3-6 mm	$1,490.00

Resorbable Polymer - Strip

< = 0.5cc

Device Technologies Australia Pty Ltd

DE137	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	5 x 5 x 10-20mm	$350.00

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta (TCP)

40%, sticks

carboxymethylcellulose putty additive

Stryker Australia Pty Ltd

SR048	Calstrux	Porous tri-calcium phosphategranules and 	10cc	$1,988.00

carboxymethylcellulose, sodium (CMC) putty additive

Surgical Specialties

SQ043	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	10ml	$2,050.00

formed

Stryker Australia Pty Ltd

SK470	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Small Cup 52mm Diameter	$2,255.00

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine collagen.

SK471	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Large Cup 56mm Diameter	$1,520.00

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine collagen.

Prostheses List by Category, Groups and Sponsor	Page 453 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK473	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Medium Cylinders Diameter 12x30mm 	$1,700.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen.	6.8cc/pair (2)

SK474	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Large Cylinders Diameter 14x30mm 	$1,830.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen.	9.2cc/pair (2)

6.7.5.2.4 Bone Substitute, >12cc or 12gm, <=17cc or 17gm

Advanced Surgical Technologies

AD228	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler, Includes 	15cc	$2,730.00

Syringe

Device Technologies Australia Pty Ltd

DE136	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	2-3mm (16cc)	$720.00

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta (TCP)

40%, granules

Lifehealthcare Pty Ltd

LH354	Kainos	Granules	1x16cm3	$1,190.00

Stryker Australia Pty Ltd

SK185	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	15cc morsels	$1,620.00

SK481	HydroSet injectable Calcium Phosphate Cement	Injectable, rapid set, calcium phosphate bone substitute kit	15cc	$6,900.00

Synthes Australia Pty Ltd

SY189	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute-	8.5, 9.5, 10.5, 12.5 & 14cm	$980.00

Cylinder

SY452	chronOS ß-TCP	Porous ß-Tricalcium Phosphate Bone Graft Substitute & 	100 mm x25 mm x 6mm	$2,400.00

Resorbable Polymer - Strip

carboxymethylcellulose putty additive

Stryker Australia Pty Ltd

SR049	Calstrux	Porous tri-calcium phosphate granules and 	15cc	$2,255.00

carboxymethylcellulose, sodiu, (CMC) putty additive

Prostheses List by Category, Groups and Sponsor	Page 454 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

needs to split Billing code

Advanced Surgical Technologies

AD328	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	15cc & 20cc	$2,200.00

6.7.5.2.5 Bone Substitute, >18cc or 18gm, <=25cc or 25gm

Advanced Surgical Technologies

AD104	Osteoset BVF Kit	Kit contains calcium sulfate, diluent, mould, spatula and 	25cc only	$1,970.00

mixing bowl

AD152	Osteoset T Pellets	Calcium sulphate with tobramycin	20cc	$1,800.00

AD209	Osteoset Pellets - Bone Graft Substitute	Calcium Sulphate	4.8mm Pellets 20cc	$1,470.00

Biomet Australia Pty Ltd

BI937	GPS Bone Biologics	TCP Granules/GPS, TCP	20ml	$2,150.00

BI947	Calcibon	Granules or paste, TCP	20ml	$1,545.00

Energy Orthopaedics Pty Ltd

EO043	EUROBONE - Synthetic Bone Substitute	EUROBONE	20cc	$2,400.00

Global Orthopaedic Technology

GO052	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	20ml, 2-5 & 5-10ml	$2,300.00

GO058	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	20ml. 2-5 & 5-10mm	$1,779.00

GO063	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	20ml. 2-5mm	$1,550.00	$1,600.00

GO067	ApaPore	Actifuse. Sterile, hydroxyapatite-based bone matrix	20cc	$1,470.00	$2,400.00

Lifehealthcare Pty Ltd

LH355	Kainos	Granules	1x20cm3	$1,390.00

LMT Surgical Pty Ltd

LM092	FixEx Bone Cement	Calcium Phosphate Bone Cement	20cc	$2,300.00

Medical & Optical Instruments Australia Pty Ltd

MO260	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 20cc	$780.00

MO265	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 20cc	$950.00

Prostheses List by Category, Groups and Sponsor	Page 455 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO277	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone Graft	2mm Granules20 cc	$1,200.00

Orthotech Pty Ltd

OH010	Pro-Osteon Implants 500	Granules	20cc	$1,600.00

OH019	Bone Plast Bone Void Filler	Powder	20cc	$1,903.00

Stryker Australia Pty Ltd

SK186	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	20cc dowel	$1,620.00

SK469	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	20cc Foam strip (25x100x8)	$2,256.00

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine collagen.

Synthes Australia Pty Ltd

SY001	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute	20g	$1,545.00

SY176	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute-	Small, Medium, Large	$1,762.00

Wedge

SY177	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone Graft Substitute-Block	Small, Medium, Large	$1,643.00

6.7.5.2.6 Bone Substitute, >26cc or 26gm

Biomet Australia Pty Ltd

BI938	GPS Bone Biologics	TCP Granules/GPS, TCP	50ml	$3,980.00

BI948	Calcibon	Granules or paste, TCP	50ml	$3,000.00

Global Orthopaedic Technology

GO054	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	High Volume Grafting Kit. 2-5 & 5-10mm	$4,500.00

GO059	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	High Volume Grafting Kit. 2-5 & 5-10mm	$4,500.00

GO068	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	High Volume Grafting Kit. 2-5 & 5-10mm	$4,500.00

Lifehealthcare Pty Ltd

LH356	Kainos	Granules	1x30cm3	$1,700.00

Medical & Optical Instruments Australia Pty Ltd

MO261	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 70cc	$1,400.00

Prostheses List by Category, Groups and Sponsor	Page 456 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK187	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	30cc morsels and 30cc dowels	$2,670.00

SK475	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Sheet (Wide Strip) 75x100x4mm	$3,000.00

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine collagen.

ST021	Stryker Bone Substitute	Bonesave, Calcium Phosphate	40gms, sizes 2 - 4 and  4-6mm	$1,750.00

6.7.5.3 Osteogenic material

Medtronic Australasia Pty Ltd

MC806	Infuse Bone Graft	Recombinant human bone morphogenetic protein rhBMP-2	Extra Small 1.4mg	$1,500.00	$2,400.00	Temporary approval pending review of listing

criteria

MC807	Infuse Bone Graft	Recombinant human bone morphogenetic protein rhBMP-2	Mini 0.7mg	$750.00	$1,200.00	Temporary approval pending review of listing

criteria

MC808	Infuse Bone Graft	Recombinant human bone morphogenetic protein rhBMP-2	Small 4.2mg	$3,200.00	Temporary approval pending review of listing

criteria

Large

Medtronic Australasia Pty Ltd

MC683	Infuse Bone Graft	Recombinant human Bone Morphogenetic Protein rhBMP-2	Medium 8.4mg	$6,000.00	Temporary approval pending review of listing

criteria

MC684	Infuse Bone Graft	Recombinant human Bone Morphogenetic Protein rhBMP-2	Large 12mg	$6,400.00	Temporary approval pending review of listing

criteria

Stryker Australia Pty Ltd

ST865	OP-1 Implant - Osteogenic Protein 1, 3.5mg	Osteoinductive and osteoconductive bone graft substitute	1 vial	$6,400.00

6.7.5.4 Orthopaedic reconstruction mesh

Johnson & Johnson Medical Pty Ltd

DP426	Surgical Titanium Mesh System	Mesh - Long/Oval	26 x 33mm x 50 - 90mm	$5,112.00

DP436	Surgical Titanium Mesh System	Mesh - Oval or Flat or Long/Round	17-22 x 22-28mm - 10-15mm Hgt or 90mm 	$4,135.00

x 90mm or 10 - 16mm x 30 - 100mm Hgt

Prostheses List by Category, Groups and Sponsor	Page 457 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.5.4.2 Orthopaedic Reconstruction Mesh, general use, >1 to 10cm2

wrist fixation

LMT Surgical Pty Ltd

LM005	TriMed Fixation Systems	Multiple stainless steel wire forms	various sizes	$465.00

6.7.5.4.3 Orthopaedic Reconstruction Mesh, general use, >10 to 25cm2

Stryker Australia Pty Ltd

HW049	Trochanteric Mesh	Wire mesh -  Stainless Steel	50 x 50mm	$666.00

Plate, resorbable

Arthrocare Australasia Pty Ltd

AF010	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid 	1.5-2.5 mesh plate, 7 x 7 holes; 1.5mm baby 	$1,200.00

Trimethylene Carbonate Copolymer	mesh plate 7 x 7 holes

Resorbable

Synthes Australia Pty Ltd

SY393	PolyMax Resorbable Fixation System	1.5/2.0 Standard Mesh	50 x 50mm	$1,300.00

SY395	PolyMax Resorbable Fixation System	1.5/2.0 Contourable Mesh	50 x 50mm	$1,300.00

6.7.5.4.5 Orthopaedic Reconstruction Mesh, general use, >50 to 100cm2

Plate, resorbable

Arthrocare Australasia Pty Ltd

AF009	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid 	1.5-2.5 mesh plates, 14 x 14 holes; 1.5mm 	$2,490.00

Trimethylene Carbonate Copolymer	baby mesh plate 14 x 14 holes

Resorbable

Synthes Australia Pty Ltd

SY394	PolyMax Resorbable Fixation System	1.5/2.0 Standard Mesh	100 x 100mm	$2,150.00

SY396	PolyMax Resorbable Fixation System	1.5/2.0 Contourable Mesh	100 x 100mm	$2,150.00

Prostheses List by Category, Groups and Sponsor	Page 458 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.7 Limb preservation, resection and lengthening systems

Johnson & Johnson Medical Pty Ltd

DY217	Limb Preservation System	Intercalary Segment Component (Male/Female)	55mm	$7,288.00

LMA PacMed Pty Ltd

PM108	Orthofix Limb Reconstruction System	Adult and paediatric - Short, Standard and 	$6,500.00

Long

PM116	ISKD Internal Limb Lengthening System	Titanium Alloy	Diameter 12.5 - 14.5mm	$16,500.00

Stryker Australia Pty Ltd

HW222	Howmedica Modular Resection System	Humeral Anchorage Piece -  Vitallium	9, 10, 11, 12mm	$4,393.00

HW224	Howmedica Modular Resection System	Humeral Axis -  Vitallium	One size only	$829.00

6.7.7.1.1 Limb preservation and lengthening, humeral stem

Stryker Australia Pty Ltd

HW255	Howmedica Modular Resection System	Oncology Humeral Body -  Titanium	40 - 140mm in 20mm increments	$2,827.00

HW256	HMRS Oncology Humeral Stem	Cobalt Chromium	7x75mm, 7x115mm, 9x75mm, 9x115mm, 	$4,778.00

11x115mm, 25mmx75mm, 25mmx100mm,

50mmx75mm,

50mmx100mm,75mmx100mm,

100mmx50mm

6.7.7.1.3 Limb preservation and lengthening, humeral stem, distal

cone

Stryker Australia Pty Ltd

HW216	Howmedica Modular Resection System	Distal Humerus Cone -  Vitallium	One size only	$4,580.00

flanged

Stryker Australia Pty Ltd

HW217	Howmedica Modular Resection System	Distal Humerus Flange -  Vitallium	One size only	$4,347.00

Prostheses List by Category, Groups and Sponsor	Page 459 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.7.1.4 Limb preservation and lengthening, humeral head

Stryker Australia Pty Ltd

HW214	Howmedica Modular Resection System	Humeral Head Fixed -  Vitallium	One size only	$3,388.00

HW254	HMRS Oncology Humeral Head/Cap	Cobalt Chromium	40, 44mm, Cap	$4,260.00

6.7.7.1.5 Limb preservation and lengthening, humerus extension piece

Stryker Australia Pty Ltd

HW218	Howmedica Modular Resection System	Humerus Connection Piece -  Vitallium	One size only	$4,122.00

HW221	Howmedica Modular Resection System	Humerus Extension Piece -  Vitallium	5, 15, 30, 45, 60, 75, 90, 105, 120, 135, 	$5,243.00

150, 165mm

6.7.7.1.6 Limb preservation and lengthening, ulna "joint"

Stryker Australia Pty Ltd

HW223	Howmedica Modular Resection System	Ulna Joint -  Vitallium	One size only	$3,783.00

6.7.7.2.1 Limb preservation and lengthening, femoral stem / body

Johnson & Johnson Medical Pty Ltd

DY189	Limb Preservation System	LPS Diaphyseal Stem, Cemented, Bowed, with 2cm 	11mm - 17mm diameter x 150 - 200mm length	$7,230.00

Beaded Collar

DY193	Limb Preservation System	LPS Diaphyseal Stem, Cemented, Straight, with 2cm 	9mm - 17mm diameter, 100 - 125mm length	$4,550.00

Beaded Collar

Lifehealthcare Pty Ltd

LH367	Fassier-Duval Telescopic IM System Component: Male	The Fassier-Dual Telescopic IM System is an endomedular	The syste is composed fo a total of 108 rods 	$3,300.00

nail designed for patients suffering from Osteogenesis 	in 9 different diameters per type.  The nail is

Impecfecta (OI), Skeletal Displasia, Congenital Tibial 	manufactured in both Ti alloy (Ti6A14V

Pseudoarthosis, Limb lengthening over nail, Segmental 	ASTM-136) and medical grade Stainless

Tumor removal and other bone deform	Steel (315L, ASTM 138).  It is available in

five diameters: 3.2, 4,4.8,5.6 and 6.4 mm

Prostheses List by Category, Groups and Sponsor	Page 460 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH368	Fassier-Duval Telescopic IM System Component: Female	The Fassier-Duval Telescopic IM System is an 	The system is composed of a total of 108 rods	$3,300.00

endomedular nail designed for patients suffering from 	 in 9 different diameters per type.  The nail is

Osteogenesis Imperfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy (Ti6A14V

Congenital Tibial Pseudoarthrosis, Limb lengthening over 	ASTM-136) and medical grade stainless steel

nail, Segmental Tumor removal and other bone defo	(316L, ASTM 138).  It is available in five

diameters: 3.2,4.4,8,5.6 and 6.4mm;

Stryker Australia Pty Ltd

HW247	Howmedica Modular Resection System	Oncology Femoral Stem -  Vitallium	127mm and 203mm length 11, 13, 15, 17mm 	$3,847.00

diameter

porous coating

Johnson & Johnson Medical Pty Ltd

DY190	Limb Preservation System	LPS Diaphyseal Stem Fully Beaded, Bowed, with 2cm 	Porocoat 12.5mm - 18.5mm diameter x 	$7,220.00

Beaded Collar	150mm - 200mm length

DY194	Limb Preservation System	LPS Diaphyseal Stem Fully Beaded, Straight, with 2cm 	Porocoat 10.5mm - 18.5mm diameter x 	$4,875.00

Beaded Collar	100mm - 125mm length

6.7.7.2.2 Limb preservation and lengthening, proximal femur

cementless

Johnson & Johnson Medical Pty Ltd

DY187	Limb Preservation System	Beaded, 'Porocoat' Standard & Trochanter Replacement	Neutral, 15deg Left & Right in both styles	$6,990.00

6.7.7.2.3 Limb preservation and lengthening, distal femur

cementless

Johnson & Johnson Medical Pty Ltd

DY188	Limb Preservation System	Distal Femoral Replacement Component Left/Right	XX Small and X Small	$15,300.00

6.7.7.2.6 Limb preservation and lengthening, tibial replacement component

cementless

Johnson & Johnson Medical Pty Ltd

DY195	Limb Preservation System	Tibial Replacement Component	XX Small - Med	$8,645.00

Prostheses List by Category, Groups and Sponsor	Page 461 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

6.7.7.2.8 Limb preservation and lengthening, tibial insert

Johnson & Johnson Medical Pty Ltd

DY196	Limb Preservation System	Tibial Hinge Insert	XX Small - Large, 12 - 31mm	$7,288.00

6.7.7.3.1 Limb preservation, resection and lengthening systems, bushing

Stryker Australia Pty Ltd

HW200	Howmedica Modular Resection System	Plug Screw Axis -  Vitallium	One size only	$217.00

6.7.7.3.3 Limb preservation, resection and lengthening systems, adaptor

Johnson & Johnson Medical Pty Ltd

DY191	Limb Preservation System	Total Femoral Segment Component (Male/Male)	55 mm Length	$1,700.00

DY192	Limb Preservation System	Segmental Component (Male/Male)	25 to 125mm Length	$1,825.00

Stryker Australia Pty Ltd

HW202	Howmedica Modular Resection System	Wedge -  Vitallium	One size only	$211.00

SK172	Howmedica Modular Resection System	GMRS Adaptors Male/Female Taper, Titanium/Forged 	Male Taper; Female Taper	$1,965.00

Cobalt Chrome

Anchor, Fixation

ConMed Linvatec Australia Pty Ltd

LV092	Duet Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	$460.00

LV108	Bio Mini-Revo Suture Anchor	Bioabsorbable Suture Anchor with Two #2 Hi-Fi Sutures	3.1mm O.D	$430.00

Bolts, Bone

Synthes Australia Pty Ltd

SY131	AO/ASIF Intermedullary Nails	Locking bolts - steel	3.9 - 4.9mm , length 18 - 100mm	$87.00

Prostheses List by Category, Groups and Sponsor	Page 462 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY132	AO/ASIF Intermedullary Nails	Locking bolts	3.0mm-6.0mm Dia 10-150mm Length	$121.00

Bone matrix implant, artificial

Austspine Pty Ltd

AJ005	Kasios TCP	TCP Bone graft substitute Granules	5cc	$1,000.00

AJ006	Kasios TCP	TCP Bone graft substitute Granules	10cc	$1,340.00

AJ007	JectOS	Injectable synthetic bone graft substitute	5cc	$1,000.00	$1,500.00

AJ008	JectOS 10cc	Injectable synthetic bone graft substitute	10cc	$1,340.00	$1,800.00

Global Orthopaedic Technology

GO177	ACTIFUSE ABX Putty	Actifuse AVX Putty - A silicated substituted synthetic bone	20ml	$4,600.00

graft.

Bone matrix implant, biological

Advanced Surgical Design & Manufacture Ltd

AE100	Orthoss - Bone implant material	Orthoss Chips 3-4mm Spongiosa. Bone Implant material, 	(Granule Size 3-4mm)  Packs 3-7g (=approx.	$2,100.00

biological, animal source.	 8-20ccm)

AE101	Orthoss - Bone implant material	Orthoss Micro Chips 1-2mm Spongiosa. Bone Implant 	(Granule Size 1-2mm) 5g (= approx. 13ccm)	$1,800.00

material, biological, animal source.

AE102	Orthoss - Bone implant material	Orthoss Spongiosa Block. Bone Implant material, 	2 x 2 x 1.3cm (approx. 3.6g)	$1,400.00

biological, animal source.

AE103	Orthoss - Bone implant material	Orthoss Spongiosa Block. Bone Implant material, 	1 x 1x 2 approx. 1.6g	$700.00

biological, animal source.

Bone Matrix Implants, Artificial

Johnson & Johnson Medical Pty Ltd

DY353	Conduit TCP	Bone matrix implant	10cc	$1,980.00

DY354	Conduit TCP	Bone matrix implant	15cc	$2,390.00

Prostheses List by Category, Groups and Sponsor	Page 463 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY355	Conduit TCP	Bone matrix implant	30cc	$3,340.00

DY361	Conduit TCP	Conduit Blocks	10 x 10 x 10mm to 25 x 25 x 30mm	$1,882.00

DY362	Conduit TCP	Conduit Cylinder	H8 - 20 x D10 - 20mm	$1,957.00

DY363	Conduit TCP	Conduit Wedge	H6-18 x D15 x L15	$2,195.00

DY427	Conduit TCP	Bone matrix implant	5cc	$1,570.00

Cement, Orthopedic

Heraeus Kulzer Australia Pty Ltd

HK006	Palacos or Palamed Bone Cement with Gentamicin	Single Mix PMMA with Gentamicin	40 grams	$215.00

HK007	Palacos or Palamed Bone Cement with Gentamicin	Single Mix PMMA with Gentamicin	20 grams	$110.00	$160.00

Fixation anchor, soft-tissue, non-biodegradable

ConMed Linvatec Australia Pty Ltd

LV109	XO Button with Continuous Loop	Titanium suspensor, fixation device for femoral fixation in 	4.5mm x 13.5mm with Continuous Loop 	$369.00

ACT and PCL repairs	lengths 15-60mm

Fixation Device

ConMed Linvatec Australia Pty Ltd

LV107	Pinn-ACL CrossPin System	Bioabsorbable, transverse femoral fixation device of soft 	40mm/45mm/50mm Self-Reinforcved PLLA 	$465.00

tissue grafts in ACL and PCL repairs.	Crosspin, 8mm/9mm PLLA Graft Harness

Global Manufacturing Technology Pty Ltd

GM109	OsteoBridge	OsteoBridge Interlocking Screw	18m to 56mm	$403.00

GM112	OsteoBridge	OsteoBridge Reducing Sleeve	20mm, 25mm & 30mm	$3,400.00

Lifehealthcare Pty Ltd

LH439	The Radius Plating System - Screws	The Radius System - 2.7-3.0mm diameter Locking anchor,	2.7-3.0mm diameter screws, 8-38mm length.	$140.00

cancellous, bone screws.

Prostheses List by Category, Groups and Sponsor	Page 464 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LH442	The Radius Plating System - Locking Plates	Distal radius plate system	Fracture plates volar and dorsal 2.0mm 	$1,675.00

thickness, left and right of short and long.

Surgiplas Medical

SP050	The Radius Plating System - Screws	The Radius System - 2.7-3.0mm diameter Locking anchor,	2.7-3.0mm diameter screws, 8-38mm length.	$140.00

cancellous, bone screws.

SP053	The Radius Plating System - Locking Plates	Distal radius plate system	Fracture plates volar and dorsal 2.0mm 	$1,675.00

thickness, left and right of short and long.

Fixation device, external, system

Stryker Australia Pty Ltd

SK485	Hoffmann Xpress - Universal Pin Clamp	Hoffmann Xpress External Fixation Device - Adapted to fit 	One size to fit the Rod to Rod	$770.00

the needs of medically trained staff of such occupations as

the Armed Forces

SK486	Hoffmann Xpress - connecting tube	Hoffman Xpress External Fixation Device - Adapted to fit 	15 mm diameter / 150 to 440 mm in length	$155.00

the needs of medically trained staff of such occupations as

the Armed Forces

SK487	Hoffmann Xpress - 5 Pin Clamp Posts	Hoffmann Xpress External Fixation Device - adapted to fit 	2 categories, a 1 post clamp and a 2 post 	$770.00

needs of medically trained staff of such occupations as the 	clamp

Armed Forces

Fixation device, internal, pin

Device Technologies Australia Pty Ltd

DE292	QuickFix Staple System	Compression Staple for Fusion	8mm 10mm	$235.00

DE295	Compression Staple	Compression staple for fusion	10x10mm 10x15mm 15x10mm 15x15mm 	$390.00	$698.00

20x20mm

Stryker Australia Pty Ltd

SK483	HA Apex Pins	HA coated bone screw	4-6mm diameters, various lengths.	$274.00

Prostheses List by Category, Groups and Sponsor	Page 465 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Fixation Device, Internal, Plate

Lifehealthcare Pty Ltd

LH441	CONTOUR Hand	Contour Hand - Plates	XS / S / M / L; straight plate 4-16 hole; Z 	$670.00

plate, Y plate, T plate, L plate 5-9 hole;

Straight plate, T plate with stabilizers 5-6 hole;

Square, Grid-rectangular plate 4-8 hole;

Straight, T, Y Compression Plate 4-7 hole;

Condylar plate w/out stabilizer 5

LMA PacMed Pty Ltd

PM111	Gotfried PC.C.P.	Internal Hip Compression Plate	One size only	$750.00

LMT Surgical Pty Ltd

LM060	BioTech Xpode 4	PEEK curved and round plate	Mini 1, 2, 3 & 4	$1,100.00

Stryker Australia Pty Ltd

SR071	Stryker Locking Plate System	Calcaneus Locking Plates	Small, Medium & Large	$1,275.00

Surgiplas Medical

SP052	CONTOUR Hand	Contour Hand - Plates	XS / S / M / L; straight plate 4-16 hole; Z 	$670.00

plate, Y plate, T plate, L plate 5-9 hole;

Straight plate, T plate with stabilizers 5-6 hole;

Square, Grid-rectangular plate 4-8 hole;

Straight, T, Y Compression Plate 4-7 hole;

Condylar plate w/out stabilizer 5-6 hole.

Synthes Australia Pty Ltd

SY351	AO/ASIF Plates	Calcaneal Plating System	3.5mm, 30-100mm length	$1,050.00

Fixation Device, Internal, Screw

B Braun Australia Pty Ltd

BB303	Position HTO Implant System - Locking Screws	Titanium cancellous and cortical screw, locking head for 	30mm-78mm x 4.5mm & 6.0mm diameter.	$223.00	$550.00

solid plate fixation.

Prostheses List by Category, Groups and Sponsor	Page 466 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB311	Position HTO Implant System - HTO Plate	Titanium Osteotomy Plate, internal fixation plate used in 	One size	$1,300.00	$1,600.00

proximal tibial repositioning osteotomy.

BB312	Position HTO Implant System - Spacer Block with 	Osteotomy Spacer Block, solid titanium. Consists of block 	5mm - 16mm	$632.00	$950.00

Fixation Screw	and fixation screw.

ConMed Linvatec Australia Pty Ltd

LV110	SmartScrew 2	Self Reinforced 96L/4D Copolymer	length 10-70mm, diameter 2 to 4.5mm, shape 	$370.00

fully/partial threaded, cannulated/non-

cannulated

Lifehealthcare Pty Ltd

LH343	Percufix	Titanium	Diameter: 2-2.5mm, Length 22-40mm	$390.00

LH440	CONTOUR Hand Screws	Screws	1.2, 1.7 and 2.3mm in diameter screws 	$67.00

ranging between 4 and 24 mm in length.

LMT Surgical Pty Ltd

LM075	Surgicraft Titanium and Stainless Steel Bone Screws	Titanium and Stainless Steel Bone Screws	3.5 x 20-40mm	$145.00

LM082	Fixos Screws	Bone Fixation Screws	2mm diam. X11mm length to 2mm x 16mm	$286.00	$425.00

Orthotech Pty Ltd

OH343	Unima Screw	Foot screw 7.2	7.2 x 50-120mm	$450.00	$495.00

OH344	Unima Screw	Foot screw 4.5	4.5 x 30-50mm	$450.00

Stryker Australia Pty Ltd

SK484	Stryker Cannulated Screw System	Asnis III Cannulated screws	4.0 - 8.0 mm diameter	$425.00

SR073	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 2.7 to 3.5mm, Length 10mm to 70mm	$235.00

SR075	Stryker Locking Plate System	Locking Plates	Straight, Curved, H, T, L & 3-D	$750.00

Surgical House

SU221	Newdeal Surfix Style Screws	Titanium bone screw +locking screw for the fixation of 	Diameter 3.5mm, Length 10-50mm; Diameter	$180.00

specific Newdeal bone plates	 4.5mm, length 14-65mm; Diameter 6.5,

length 20-100mm

Prostheses List by Category, Groups and Sponsor	Page 467 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU222	Qwix Screw	Self drilling, self tapping, cannulated, titanium screws.	Diameter 3.0mm-7.5mm, length 10mm-120mm	$286.00

Surgiplas Medical

SP051	CONTOUR Hand Screws	Screws	1.2, 1.7 and 2.3mm in diameter screws 	$67.00

ranging between 4 and 24 mm in length.

SP054	ExtremiFix Screws	Headless Cannulated Compression Screw	Diameter 2.0mm, 2.4mm, 3.0mm, 4.0mm. 	$425.00	$485.00

Length 10mm to 52mm.

Fixation device, internal, staple

Lifehealthcare Pty Ltd

LH375	StaFIX	The StaFIX Staples are retained implants and removable 	6x6, 6x12,8x8, 8x16, 10x10, 10x20, 12x24	$300.00

used primarily for the following applications: Synthesis of

fractures; Synthesis of osteotomies; Arthrodesis;

Reattachment of ligaments ot tendons.  The aim of the

StaFIX staple is to provide a effective fixation of the bone

fragments during healing.

LMT Surgical Pty Ltd

LM077	Memometal Memory Staples	Heat Activated Compression Staple	10 mm to 25 mm	$600.00

Fixation Device, Internal, System

Biomet Australia Pty Ltd

BI929	Sternalock	Screws Ti	2.4-2.7mm x 8-12mm	$44.00

Fixation plate, fracture-healing, non-biodegradable

Orthopaedic Solutions Pty Ltd

OE007	NexFix MTP Fusion System	Unique low profile stainless steel locking screw for use with	3.2mm x 12mm, 14mm, 16mm, 18mm, 20mm	$130.00

NexFix MTP Fusion plates,  indicated for use in

osteoporotic bone

Prostheses List by Category, Groups and Sponsor	Page 468 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OE008	NexFix MTP Fusion System	A bendable stainless steel bone plate and screw system 	Left 2 + 3; Right 2 + 3	$730.00

with unique low profile locking screw option.  Indicated for

use in primary MTP fusion

OE009	NexFix MTP Fusion System	A bendable stainless steel bone plate and screw system 	Left: 2+3; Right: 2+3	$730.00

with unique low profile locking screw option.  Indicated for

use in primary and revision MTP fusion

OE010	NexFix MTP Fusion System	Unique low profile stainless steel locking screw for use with	2.7mm x 12mm, 14mm, 16mm, 18mm, 	$96.00

NexFix MTP Fusion plates, indicated for use in normal 	20mm, 24mm, 28mm

bone

Fixation plate, growth-correction

LMA PacMed Pty Ltd

PM118	Orthofix eight-Plate	Guided Growth Plate for correction of angular deformities, 	12mm; 16mm	$370.00

Titanium, two hole plate, figure eight shaped

LMT Surgical Pty Ltd

LM074	Elix (plate)	Anatomically shaped plate with PEEK inserts	4 Hole, right and left plate.	$1,010.00	$1,500.00

Fixation system implantable kit; external

Synthes Australia Pty Ltd

SY418	Distraction Osteogenesis Ring System	Bolt-connecting, clamp, eye, wire offset, wire slotted, MRI 	One size	$188.00

safe.

SY419	Distraction Osteogenesis Ring System	Spherical/Spacing Washer; Nut-Speed, Square, 	1mm-50mm	$214.00

Hexagonal, Standoff; MRI Safe

SY420	Distraction Osteogenesis Ring System	Wire Post MRI Safe	Short, Long	$585.00

SY421	Distraction Osteogenesis Ring System	Threaded Rod, MRI Safe	250mm-350mm	$258.00

SY422	Distraction Osteogenesis Ring System	Femoral Arch Plate, Titanium	90mm-120mm, 180mm-240mm	$880.00

SY423	Distraction Osteogenesis Ring System	Femoral Arch Plate, Carbon Fibre	90mm-120mm, 180mm-240mm	$1,350.00

SY424	Distraction Osteogenesis Ring System	Half,5/8 Ring, MRI Safe, Titanium	80mm-240mm Diameter	$908.00

SY425	Distraction Osteogenesis Ring System	Full Ring, MRI safe, Titanium	140mm-200mm Diameter	$1,365.00

Prostheses List by Category, Groups and Sponsor	Page 469 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY426	Distraction Osteogenesis Ring System	Half, 5/8 ring, carbon fibre	100mm-200mm Diameter	$1,353.00

SY427	Distraction Osteogenesis Ring System	Foot Plates, Carbon Fibre	100mm-180mm	$3,000.00

SY428	Distraction Osteogenesis Ring System	Locking Hinge, MRI safe	One Size	$435.00

Fixation system, internal,fracture, non-biodegradable

Johnson & Johnson Medical Pty Ltd

JJ639	Small Bone Fixation System - Small Bone Flexible Nail	Intramedullary Nail	1.6mm and 1.1mm	$700.00	$950.00

JJ641	Small Bone Fixation System - Small Bone Fixation 	Intramedullary Nail Fixation System Kit	1.6mm and 1.1mm	$700.00	$1,250.00

System Kit

Stryker Australia Pty Ltd

SR072	Dall miles Trochanteric grip with divergent hooks	stainless steel dall miles trochanteric grip with diverging 	small, medium, large  43-53mm	$900.00

proximal hooks

Grafts, Bone

Zimmer Pty Ltd

ZI265	Continuum hip system	Hedrocel AVN Rod	3mm - 12mm block	$3,208.00

ZI270	Hedrocel block	Hedrocel tantulum	2 x 4 x 4mm	$3,833.00

ZI272	Hedrocel cylinder	Hedrocel tantulum	10mm long	$2,787.00

Group 1- Fixation: Bone Screw

Group 1a - Bone Screw, Monoaxial

Zimmer Pty Ltd

ZI513	Optima Spinal System - Monoaxial Pedicle Screw 	Monoaxial Pedicle screw system	Dia 4-8mm, length 20-60mm	$930.00

System

Prostheses List by Category, Groups and Sponsor	Page 470 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

4 - Closed

Surgical House

SU209	Plus Spinal Fixation System - Pedicle Screws	Titanium, mono-axial pedicle screws for attachment to 	Diameter 4.5mm, Length 20mm-45mm           	$930.00

PLUS 6mm diameter rods to form a multi-level spinal 	        Diameter 5.5mm, Length 20mm-50mm

fixation construct	          Diameter 6.5mm, Length 25mm-60mm

Diameter 7.5mm, Length 25mm-90mm

Diameter 8.5mm, Length 30mm-

90mm

Group 1b - Bone Screw, Polyaxial

Surgical House

SU217	PLUS Spinal Fixation System - Multi-Axial Pedicle 	Titanium, multi-axial (variable angle) pedicle screws for 	Diameter 4.5mm, Length 20mm-45mm         	$1,330.00

Screws	attachment to PLUS 6mm diameter rods to form a multi-	Diameter 5.5mm, Length 20mm-50mm

level spinal fixation construct	Diameter 6.5mm, Length 25mm-60mm

Diameter 7.5mm, Length 25mm-90mm

Diameter 8.5mm, Length 30mm-90mm

Group 1c - Bone Screw, Standard

Johnson & Johnson Medical Pty Ltd

DY478	Uniplate ACP System	Rescue Screw	12-18mm	$200.00	$539.00

DY479	Uniplate ACP System	Primary Screw	12-18mm	$200.00	$372.00

JJ512	Skyline Cervical Plate System	Skyline anterior cervical screw, titanium	Self drilling 3.8mm, 10-18mm	$200.00	$539.00

JJ513	Skyline Cervical Plate System	Skyline anterior cervical screw. Titanium	Self tapping 3.8mm, 10-26mm	$200.00	$539.00

JJ514	Skyline Cervical Plate System	Skyline anterior cervical screw.  Titanium	Self Tapping 4.3mm, 10-18mm	$200.00	$539.00

JJ515	Skyline Cervical Plate System	Skyline anterior cervical screw.  Titanium	Bi-cortical 10-18mm	$200.00	$539.00

JJ519	AEGIS ALP	AEGIS ALP Bone Screws, Titanium	4mm x 24-36mm	$250.00	$559.00

JJ528	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self Drilling 3.8mm 10 - 18mm	$200.00	$539.00

JJ529	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self-Tapping 3.8mm 10-18mm	$200.00	$539.00

JJ530	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self Tapping 4.3mm 10 - 18mm	$200.00	$539.00

Prostheses List by Category, Groups and Sponsor	Page 471 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ531	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self drilling 4.3mm 10 - 18mm	$200.00	$539.00

Surgical House

SU212	PLUS Spinal Fixation System - Sacral Screws	Titanium bone screws used for fixation of PLUS 6mm rods 	Diameter 6.5mm, Length 30-45mm	$250.00

to the sacrum via PLUS sacral connectors

1 - System

Surgical House

SU225	Uni-Thread Screw	Titanium pedicle screw.  Fully or partially threaded.	Diameter 5.5mm-8.5mm, Length 28mm-	$600.00

58mm

Group 12 - Spacer: Interbody/Fusion Cage

Group 12b - Interbody / Fusion Cage, No Integral Fixation

Surgical House

SU224	Spacevision TLIF Cage	PEEK Optima	7mm-16mm	$2,503.00

1 - Paired

Surgical House

SU223	Spacevision PLIF Cage	PEEK Optima o to 8 degrees lordosis	Height 7-14mm, Length 21-25mm	$3,000.00

Group 16 - Replacement: Vertebral Body

Group 16e - Vertebral Body, Mesh

Johnson & Johnson Medical Pty Ltd

DP427	Surgical Titanium Mesh System	Mesh - Curved or Long/Oval	14mm  x 130mm or 17 - 22 x 22 - 28mm x 	$3,605.00	$6,072.00

50 - 150mm Hgt

DP438	Surgical Titanium Mesh System	Mesh  - Oblong	12 - 13 x 15 -17mm x 10 - 20mm	$3,605.00	$6,325.00

Scient'x Australia

SX022	Bioscorp	Bioresorbable corpectomy implant	Diameter: 10-12mm, Length; 30-70mm	$3,800.00

Group 16f - Vertebral Body, Mesh - End Plate

Johnson & Johnson Medical Pty Ltd

DY087	Surgical Titanium Mesh System	End Plate or Screws or End Cap (Round / Oblong / 	17-22mm x 22-33mm	$250.00

Trapezoidal)

Prostheses List by Category, Groups and Sponsor	Page 472 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY088	Surgical Titanium Mesh System	Rings (Standard and Angled)	17-26mm x 22-33mm	$1,325.00

Group 17 - Bone Graft: Bone Substitute

Group 17c - Bone Substitute, Non-Resorbable - Non-Structural

Johnson & Johnson Medical Pty Ltd

DY097	Vetebrplastic Cement	Vetebrplastic cement	One size only	$230.00

1 - with Simple Kit

Cardinal Health

CI002	AVAmax Plus	Radiopaque bone cement system	11G & 13G	$540.00	$1,100.00

CI003	AVAmax	Radiopaque bone cement system	11G & 13G	$540.00

William A Cook Australia Pty Ltd

WC135	Vertebroplasty Procedure Pack	Percutaneous Vertebroplasty set with Osteo-Site needle 	11/13 Gauge 10/15CM M1, M1M, M2	$540.00

and bone cement

Group 2 - Fixation: Coupling

a - Nut

Johnson & Johnson Medical Pty Ltd

DP058	Isola System (Stainless Steel)	Modular Cross Connector Hex Nut	One size only	$177.00

DP074	Isola System (Titanium)	Modular Cross Connector Hex Nut	One size only	$177.00

DY098	Moss Miami  (Titanium)	Pin Nut	One size only	$177.00

b - Set Screw / Locking Screw

Johnson & Johnson Medical Pty Ltd

JJ524	VIPER Spine System	Viper Single Innie Set Screw	One size	$170.00	$370.00

Surgical House

SU220	PLUS Spinal Fixation System - Set Screws	Titanium set screws used to secure PLUS system clips to 	Regular, Spherical	$170.00

PLUS system pedicle screws and hooks and to tighten

PLUS system connectors against 6mm rods. All clips and

connectors are supplied with set screws pre-loaded.

Separate set screws are only required fo

Prostheses List by Category, Groups and Sponsor	Page 473 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI511	Optima Spinal System - Set Screw	Screw set	One size only	$170.00	$333.00

d - Cap / Cover Plate, C - Complex

Surgical House

SU211	PLUS Spinal Fixation System - Clip	Titanium clip that fits over the head of the PLUS system 	one size	$605.00

pedicle screws to secure a 6mm rod to the screw. Clip

incorporates a set screw which tightens the clip firmly

against the rod/pedicle screw.

e - Block / Clamp / Screw head

Johnson & Johnson Medical Pty Ltd

DP072	Isola System (Titanium)	Modular Cross Connector  J-Hooks	1/4 & 3/16"	$400.00

DP073	Isola System (Titanium)	Modular Cross Connector Plates	0 - 70mm	$400.00	$569.00

Surgical House

SU216	PLUS Spinal Fixation System - MATC	Titanium clamp, fitted to a 6mm PLUS longitudinal rod that 	One size each of fixed angle style and multi-	$760.00

fixes a short transverse support rod between two 	axial angle style

longitudinal rods as part of pedicle screw/rod construct.

Available in either fixed angle or multi-axial angle. The use

of a combination of a fixed

e - Block / Clamp / Screw Head, C - Complex

Surgical House

SU226	Uni-Thread Connector	Titanium pedicle screw/rod connector.  Standard, offset or 	6.5mm-7.5mm	$760.00

reduction

f - Other

Johnson & Johnson Medical Pty Ltd

DP075	Isola System (Stainless Steel)	Modular Cross Connector Plates	0 - 70mm	$400.00	$569.00

DP076	Isola System (Stainless Steel)	Modular Cross Connector J-Hooks	1/4 & 3/16"	$400.00

Prostheses List by Category, Groups and Sponsor	Page 474 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical House

SU215	PLUS Spinal Fixation System - MATC Bars	Titanium, 6mm diameter rods of various lengths for 	Double Spherical Ends: Diameter 6mm, 	$400.00

transverse fixation between 2 PLUS system longitudinal 	Length 20mm-65mm

rods as part of a multi-level spinal fixation construct. 	                        Single Spherical End: One size

Available with one spherical end or two for fixation to fixed

angle MATC connectors or multi

Group 3 - Fixation: Cable

Group 3a - Cable, Single Ended

Johnson & Johnson Medical Pty Ltd

DP854	Songer Cable System - Titanium	Flex Bar - Large/Small or Flanged Crimp 2 Hole Bar /Flat 	35mm/30mm	$159.00	$220.00

Bar (Pk 2)

DP859	Songer Cable System  - Stainless Steel	Isola Single Cable & Crimp (Pkt 6)	One size only	$412.00	$967.00

DP864	Songer Cable System  - Titanium	Isola Single Cable & Crimp (Pkt 6)	One size only	$412.00	$1,925.00

Group 3b - Cable, Double Ended

Johnson & Johnson Medical Pty Ltd

DP860	Songer Cable System  - Stainless Steel	Double Loop Cable with 2 Crimps	One size only	$470.00	$660.00

DP862	Songer Cable System  - Titanium	Double Loop Cable with 2 Crimps	One size only	$470.00	$682.00

Group 3e - Wires, Strands

Johnson & Johnson Medical Pty Ltd

DP045	Isola System (Stainless Steel)	Double Wire	One size only	$65.00	$166.00

Group 4 - Fixation: Connector

Group 4a - Connector, In-line

Surgical House

SU210	PLUS Spinal Fixation System - Rod Connectors	Titanium blocks fitted with set screws for longitudinal 	one size each of: Dual Conector, Small Dual 	$760.00

parallel joining of 2 PLUS system 6mm diameter rods	Rod Connector, Open Dual Rod Connector

Prostheses List by Category, Groups and Sponsor	Page 475 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 4b - Connector, Offset

Johnson & Johnson Medical Pty Ltd

DY305	VSP System (Titanium)	Sacral Connector - Left & Right Offset	One size only	$760.00

Surgical House

SU214	PLUS Spinal Fixation System - Lateral Connectors	Single piece titanium clamp fitted to the end of a 30mm x 	one size	$760.00

6mm rod. The short rod section is fixed to the head of

PLUS system pedicle screw a 90 (degrees) to the long axis

of the spine. A 6mm longitudinal rod can be fixed to the

Lateral Connector as part of pedicle screw/rod construct.

SU218	PLUS Spinal Fixation System - Sacral Connectors	Titanium connectors designed for the fixation of the distal 	left and right	$760.00

end of PLUS 6mm rods to PLUS bone screws placed into

the sacrum

Group 5 - Fixation: Hook

Group 5a - Hook, Open

Global Orthopaedic Technology

GO082	Nex-Link	Spinal Fixation System, Cervical Hooks	5 & 7mm	$820.00

Surgical House

SU219	PLUS Spinal Fixation System -Hooks	Titanium hooks of varying styles that are applied to the 	Pedicle Regular, Pedicle Small, Laminar 	$820.00

spina pedicles and lamina and then attached to longitudinal 	Regular, Laminar Narrow, Laminar Angled,

PLUS system rods via PLUS system clips that fix the 	Laminar Tall, Laminar Small, Laminar Regular

hooks to the rods	Oblique, Laminar Narrow Oblique, Laminar

Open Offset.

Zimmer Pty Ltd

ZI662	Nex-Link	Spinal Fixation System, Cervical Hooks	5 & 7mm	$820.00

Group 6 - Fixation: Plate

Group 6a - Plate, Integral Fixation

Johnson & Johnson Medical Pty Ltd

JJ793	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	12-55mm	$1,400.00	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 476 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

1 - Cervical Plate > 55mm

Johnson & Johnson Medical Pty Ltd

JJ527	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	56-60mm	$1,800.00	$1,927.00

Group 6b - Plate, No Integral Fixation

B Braun Australia Pty Ltd

BB067	Caspar Cervical Plate	Titanium and Steel	24mm-90mm	$1,300.00	$1,600.00

Johnson & Johnson Medical Pty Ltd

DP051	VSP System (Titanium)	VSP Bone Plate	One - Two Slot	$1,670.00

DP052	VSP System (Titanium)	VSP Bone Plate	Two ½ - Three ½ or Four - Five Slot	$1,670.00

DY123	VSP System (Stainless Steel)	VSP Bone Plate	One-Two Slot	$1,670.00

DY124	VSP System (Stainless Steel)	VSP Bone Plate	Two 1/2-Three 1/2 Slot	$1,670.00

DY125	VSP System (Stainless Steel)	VSP Bone Plate	Four-Five Slot	$1,670.00

Scient'x Australia

SX023	Aladyn-Plate	Rigid Plate	Length: 38-76mm	$2,200.00

Synthes Australia Pty Ltd

SY457	Cervical Spine Locking Plate (CSLP) System	Small Stature Plate	≤55	$1,300.00	$1,600.00

1 - Cervical Plate > 55mm

Synthes Australia Pty Ltd

SY456	Cervical Spine Locking Plate (CSLP) System	Small Stature Plate	>55	$1,700.00	$2,000.00

Group 7 - Fixation: Rod

Group 7a - Rod, Standard

Global Orthopaedic Technology

GO083	Nex-Link	Spinal Fixation System, Spinal Rod	120 & 240mm	$443.00

Johnson & Johnson Medical Pty Ltd

JJ523	VIPER Spine System	Viper Pre-lordosed Rod, Titanium	35 - 70mm	$443.00

Prostheses List by Category, Groups and Sponsor	Page 477 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH203	Altius Occipito-Cervico-Thoracic (OCT) System	Rod	8 to 24cm x 3.5mm Occipital and  Curved Rod	$443.00	$750.00

Scient'x Australia

SX021	TTC-rod	Rigid Rod	Diameter:  3.5mm, Length: 10-200mm	$443.00

Surgical House

SU213	PLUS Spinal Fixatin System - Rods	Titanium rods of various diameters, lengths and rigidity used	Hex rods, Rods and Stiff rods - Diameter 	$443.00

to form multi-level spinal fixation constructs	6mm, length 40mm, 50mm, 60mm, 70mm,

80mm, 90mm, 100mm, 110mm, 120mm,

130mm, 140mm, 150mm, 160mm, 170mm,

180mm 190mm, 200mm, 210mm, 220mm,

230mm, 240mm, 250mm, 260mm, 270mm,

280mm, 290mm, 300mm, 310mm, 320mm,

330mm,

Zimmer Pty Ltd

ZI512	Optima Spinal System - Rod	Rod	Dia 5-7mm, length 40-400mm	$443.00

ZI663	Nex-Link	Spinal Fixation System, Spinal Rod	120 & 240mm	$443.00

Group 7d - Rod, Dual Unit

Surgical House

SU227	Olerud Cervical System, U - Rods	Titanium alloy, Preformed	40mm - 120mm	$1,460.00

Group 9 - Fixation: Washer/Staple

Group 9b - Staple

Johnson & Johnson Medical Pty Ltd

JJ657	Single Hole Staple - Expedium Anterior Spine System	Single Hole Staple - Titanium	One Size Only	$410.00

Prostheses List by Category, Groups and Sponsor	Page 478 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Hip A - Femoral Components - Primary & Revisions

Global Manufacturing Technology Pty Ltd

GM133	K2 Global Modular Femoral Stem	K2 Mid Stem	Size 2 to 12	$5,000.00

GM134	K2 Global Modular Femoral Stem	K2 Stem	K2 Stem Size 2, K2 Stem Size3, K2 Stem 	$6,400.00

Size 4, K2 Stem Size 5, K2 Stem Size 6 , K2

Stem Size 7, K2 Stem Size 8, K2 Stem Size

10, K2 Stem Size 11,

GM143	SMR Femoral Stem	SMR Distal Component 240mm	SMR distal component 14x 240mm, SMR 	$4,620.00	$4,784.00

distal component 16 x 240mm, SMR distal

component 17x240mm, SMR distal

component 18 x 240mm, SMR distal

component 19 x 240mm, SMR distal

component 20 x 240mm, SMR distal

component 22 x 240mm

Group 01a - Cemented, unpolished, no pre-coat, straight, short and standard length, all modularity.

B Braun Australia Pty Ltd

BB275	Excia Hip System	Cemented stem cobalt chromium	9mm-18mm	$1,850.00	$2,000.00

ESKA Australia

EK080	Adapter GHE Femoral Stem Cemented 	CoCr, non polished	160mm & 180mm	$1,850.00	$2,000.00

Exactech Australia

EX012	Exotech Novation C femoral stem	Femoral stem cemented unpolished	1-8	$1,850.00	$2,000.00

Mathys Orthopaedics Pty Ltd

MA016	CCA Cemented Femoral Stem	CoCr, straight, not polished	7.50mm -17.5mm	$1,850.00

Orthotech Pty Ltd

OH226	Exotech Novation C femoral stem	Femoral stem cemented unpolished	1-8	$1,850.00	$2,000.00

Smith & Nephew Surgical Pty Ltd

SN010	Basis Femoral Component	Hip stem, Cobalt Chromium Grit Blast	Length 115 - 135mm	$1,850.00

Stryker Australia Pty Ltd

ST576	Stryker Omnifit Cemented Stem	Cemented  femoral component Cobal Chrome 	Stem sizes 4-11	$1,850.00

Prostheses List by Category, Groups and Sponsor	Page 479 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST586	Osteonics omnifit head/neck hip stem 	Cobal Chrome, Unpolished, standard and long with calcar	Stem sizes  5, 7 & 9	$2,000.00

Zimmer Pty Ltd

ZI015	Zimmer 'VerSys  Hip Systems Femoral Stem	Cemented - Cobalt Chrome unpolished	11 - 17	$1,850.00	$2,175.00

ZI337	Natural Hip System	Unpolished, straight, Femoral Stem, CoCr	140 - 160mm	$1,850.00

N

Global Orthopaedic Technology

GO134	R120 Cemented Femoral Stem	CoCr, unpolished, tapered, collared, separate neck	Size 1 to 6	$1,850.00	$4,428.00

Group 01b - Cemented, unpolished, no pre-coat, tapered, short and standard length, all modularity.

Biomet Australia Pty Ltd

BI036	Rx90 Hip System	 Femoral Stem, Chrome Cobalt, Cemented unpolished 	9-17mm	$1,850.00	$2,080.00

BI039	Integral Hip System	 Femoral Stem, Chrome Cobalt, Cemented unpolished 	9-17mm	$1,850.00

BI047	Echo FX Stem	 Femoral Stem, Chrome Cobalt, Cemented unpolished 	7-17mm	$1,850.00

BI050	Bi-Metric Hip System	Titanium unpolished cemented 	7-17mm	$1,850.00

BI063	Bimetric Hip System	  Chrome Cobalt Cemented, unpolished	7-17mm	$1,850.00

BI069	Biomet Taperloc Hip System	Titianium unpolished 	7.5mm to 20mm diameter	$1,850.00

BI132	Mallory Head Hip System	 Cobalt Chrome, Unpolished	7-19mm	$1,850.00

Johnson & Johnson Medical Pty Ltd

DP180	Charnley Standard Femoral Stem	Stainless steel, (Ortron 90) fixed & attachable femoral heads	Sizes less than 200mm	$1,850.00

DP203	Elite Plus Femoral Stem	Stainless steel, Ortron 90, cemented femoral stem, 	CDH, Size 1-7 and all offsets	$1,850.00

unpolished

JJ573	Summit Cemented Femoral Stem	CoCr, tapered, unpolished	Sizes 0-10, with various offsets	$1,850.00

Mathys Orthopaedics Pty Ltd

MA017	FULFIX Cemented Femoral Stem	CoCr, tapered, not polished	3.0mm - 12.5mm	$1,850.00

Stryker Australia Pty Ltd

SR017	Omnifit hip system	OMNIFIT cemented femoral component - cobalt chrome	Stem sizes 4-11	$1,850.00

Prostheses List by Category, Groups and Sponsor	Page 480 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SR018	Omnifit hip system	OMNIFIT 'C' stem - cemented  cobalt chrome, collared 	Stem sizes 4-11	$1,850.00

and collarless, 132 degree offset

N

ESKA Australia

EK031	Adapter Cemented Femoral Stem	CoCr, unpolished, tapered, fixed proximal cement 	Femoral stem 1-7	$1,850.00

centralisers and distal centraliser included

SCP

Smith & Nephew Surgical Pty Ltd

SN301	Spectron and Synergy	Femoral Stem Non Porous Offset	1- 20	$1,850.00	$2,060.00

Group 02a - Cemented, polished, no pre-coat, straight, short or standard length, all modularity.

B Braun Australia Pty Ltd

BB240	BiContact cemented	Cemented stem cobal chrome	8-18	$2,100.00

Lifehealthcare Pty Ltd

LH009	Lyderic II Monotige Femoral Stem	Cemented Stainless steel polished	Sizes 6 - 11	$2,100.00

Zimmer Pty Ltd

ZI023	Zimmer Heritage Hip Systems Femoral Stem	 Cobalt Chrome, polished, straight 	11 - 17	$2,100.00

N

Global Orthopaedic Technology

GO036	Absolut Cemented Femoral Stem	CoCr, highly polished, tapered, with neck	1 to 14	$2,100.00

Lifehealthcare Pty Ltd

LH067	Groupe Lepine Total Hip Replacement	Cemented Stainless steel polished	Size 6, 7, 9, 9, 10, 11	$2,100.00

Group 02b - Cemented, polished, no pre-coat, tapered, short or standard length, all modularity.

Biomet Australia Pty Ltd

BI066	Stanmore Total Hip System	polished Femoral Stem - Standard and Straight, Chrome 	Size 1-5 	$2,100.00	$2,300.00

Cobalt

BI696	Olympia Stem	Anatomic design CO CR femoral stem polished	L & R 6 sizes (1 to 6)	$2,100.00

BI925	Mallory Head Hip System	Femoral Stem, Cobalt Chrome, Polished	7-19mm	$2,100.00	$2,300.00

Prostheses List by Category, Groups and Sponsor	Page 481 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Corin Australia Pty Ltd

CR024	Taper Fit Femoral Stem	Double taper stainless steel femoral stem	sizes 1-4 with 3 different offsets	$2,100.00

Finsbury Orthopaedics Australia Pty Ltd

FI019	Freeman Hip Stem	Cobalt Chrome, distal half poslished, cemented	165 lengths, diameter 10-12-14-16-18-20, 	$2,100.00

offsets short 36mm and medium 40mm

Global Manufacturing Technology Pty Ltd

GM038	Edinburgh Femoral Stem	CoCr, double taper, highly polished	CDH to Size 4 Narrow: Size 1 to Size 4 	$2,100.00	$2,317.00

Standard

Global Orthopaedic Technology

GO164	Global Cemented Femoral Stem	CoCr, polished, double taper, 	Sizes 0-4, various offsets	$2,100.00	$2,317.00

Johnson & Johnson Medical Pty Ltd

DP546	C- Stem & C- Stem AMT Femoral Stems	Stainless steel Ortron 90, highly polished, triple taper	Size 1-8 standard, Size 1-8 High Offset, CDH	$2,100.00

and 0A to 3A sizes

JJ786	Corail Hip System Cemented Femoral Stem	Stainless steel cemented, polished femoral stem, standard 	Size 8 - 20	$2,100.00	$2,300.00

and high offsets

Lima Orthopaedics Australia Pty Ltd

LC005	Lima Friendly Stem 	Femoral Stem Cemented, tapered, polished	0, 1, 2, 3	$2,100.00	$2,350.00

LC026	Lima Accent Hip System	Femoral Stem Cemented, tapered, polished	1 -6	$2,100.00	$2,317.00

Mathys Orthopaedics Pty Ltd

MA463	twinSys Cemented Femoral Stem	stainless steel, highly polished, triple tapered	8 sizes in standard and lateral version (Size 9, 	$2,100.00

10, 11, 12, 13, 14, 15, 16)

MA474	Cemira Cemented Femoral Stem	Stainless steel, highly polished, triple taper	Various offsets and sizes	$2,100.00

Medacta Australia Pty Ltd

MU001	CONE Cemented Femoral Stem	CoCr, highly polished, triple taper	Standard sizes 1 to 8, Lateralized sizes 2 to 7	$2,100.00

MU004	Quadra Hip Cemented Femoral Stem	High nitrogen stainless steel alloy, highly polished, double 	0 to 7	$2,100.00

taper

Orthotech Pty Ltd

OH199	Lima Accent Hip System	Femoral Stem Cemented, tapered, polished	1 -6	$2,100.00	$2,317.00

Smith & Nephew Surgical Pty Ltd

SN268	CPCS	Femoral Stem Polished Non Porous, Std and High Offset 	1 - 5	$2,100.00

Prostheses List by Category, Groups and Sponsor	Page 482 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI009	Zimmer CPT Hip Systems Femoral Stem	Co Cr (Zimaloy), polished and tapered	Sizes 1 - 5	$2,500.00

ZI373	MS-30 Hip prosthesis	Stainless steel, polished tapered	6 to 16	$2,100.00

N

Advanced Surgical Technologies

AD318	Profemur Xm Femoral Stem	Femoral Stem, CoCr, Cemented, Polished	0, 1, 2, 3, 4	$2,100.00	$2,300.00

SCP

Stryker Australia Pty Ltd

HW041	Exeter Hip System	Stainless Steel (Orthinox)	Stem Sizes 0-6, Offsets 30, 33, 35.5, 37.5, 	$2,500.00

44, 50 & 56mm

Group 03a - Cemented, unpolished, pre-coat, straight, short or standard length, all modularity.

Stryker Australia Pty Ltd

HW031	Definition PM Femoral Component	Femoral Stem -  Vitallium	Stem sizes 1 - 7	$2,100.00

Group 04a - Cemented, polished and unpolished, long length, conventional.

ESKA Australia

EK081	Adapter GHE Femoral Long Stem Cemented 	CoCr, non polished, long stem	200mm - 350mm	$3,550.00

Finsbury Orthopaedics Australia Pty Ltd

FI020	Freeman Hip Stem	Cobalt Chrome, distal half poslished, cemented	Diameter 14-16/Short and Medium offset 	$3,550.00

+50mm

Johnson & Johnson Medical Pty Ltd

DP013	Wroblewski Resection femoral Stem	Stainless steel, polished, includes segmental support rings x 3	200mm-250mm	$3,550.00

DP175	Charnley Hip Long Femoral Stem	Stainless steel Ortron 90 stem	10"- 15" (250-375mm) 	$3,550.00

DP212	Elite Plus Long Femoral Stem	Stainless steel, Ortron 90, cemented femoral stem, 	Sizes 3-5 (200-250mm)	$3,550.00

unpolished

DP550	C- Stem Long Femoral Stem	Stainless steel Ortron 90, highly polished, triple taper, long 	Size 4-8 x 200-240 mm length	$3,550.00

stem

Link Orthopaedics  Australia

LO012	LINK Endo - Model Saddle Prosthesis	Cobal Chrome, unpolished and long	170mm / Sizes 01-5	$3,550.00

Prostheses List by Category, Groups and Sponsor	Page 483 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO015	LINK Lubinus SPII Hip Prosthesis	Stem	Left & right 01-5	$1,850.00

Stryker Australia Pty Ltd

HW040	Exeter Hip System	Stainless Steel (Orthinox) polished long 	37.5 and 44mm offsets	$3,550.00

ST584	Osteonics omnifit cemented long stem	cobalt chrome unpolished long 	Stem sizes  5-11, stem length 200, 250 AND 	$3,550.00

300mm

Zimmer Pty Ltd

ZI025	Zimmer VerSys CRC Hip Systems Femoral Stem	 Cobalt Chrome, unpolished long stem with calcar 	13 - 19	$3,550.00	$3,825.00

attachment option

ZI301	CPT Hip System	Cobalt Chrome, polished, tapered, long stems 	Sizes 1 - 4	$3,550.00

Group 04b - Cemented, calcar replacement, long length.

Smith & Nephew Surgical Pty Ltd

SN273	Echelon/Spectron	Revision Hip Stem - Non-porous	135mm - 235mm	$3,700.00

Calcar

Biomet Australia Pty Ltd

BI051	Bi-Metric Hip System	Head Neck calcar Femoral Stem, Chrome Cobalt, 	9-15mm 	$3,700.00

Cemented, unpolished 200 and 250 lengths

Group 05a - Uncemented, Grit Blast, not HA, standard and short, no modularity.

Advanced Surgical Design & Manufacture Ltd

AE123	CLP Hip System - Femoral Component, Ti, Grit Blast, 	Non modular femoral hip stem, designed for uncemented 	14 x standard offset components and 12 	$3,870.00

non HA, standard and lateral offset	use, and to be used with CoCro or Ceramic heads in total 	lateral offset components

hip arthroplasty, or Bipolar heads in hemi-arthroplasty

B Braun Australia Pty Ltd

BB272	HuckStep Hip System	Titanium, plasma coated femoral stem, short and standard 	Short and Standard length	$3,870.00

length, non HA

Biomet Australia Pty Ltd

BI932	PPF Hip System	grit blas non HA 	00 thru 12	$3,870.00

BI980	Echo Hip System	Press Fit Femoral Component, titanium	7 - 17mm	$3,870.00

Prostheses List by Category, Groups and Sponsor	Page 484 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI021	Adept Hip System	Femoral Hip Stem, cementless, titanium, long stem, grit blast	12 standard sizes and 7 lateralised sizes	$3,870.00

FI044	Finsbury Type S Stem	Tapered, Titanium, Uncemented Femoral Stem	Sizes 5 through 20. Standard & Lateralised	$3,870.00	$4,282.00

Lima Orthopaedics Australia Pty Ltd

LC011	Lima C2 Femoral Stem	Femoral Stem, titanium, grit blast, non HA	1-8	$3,870.00	$3,950.00

Link Orthopaedics  Australia

LO107	Beta-Cone Cementless Hip Prosthesis	Titanium, grit blast, non HA	9 Stem sizes 1-9 plus additional 9 stems with 	$3,870.00

XL neck length. Total 18 sizes

LO146	CFP Hip Stem	Titanium, grit blast, non HA	Extra small to Extra Large	$3,870.00

Mathys Orthopaedics Pty Ltd

MA019	CBC Non Cemented Femoral Stem	Titanium, grit blast, non HA, 	5-20mm	$3,870.00

MA427	CBH Non Cemented Femoral Stem	Titanium, grit blast, non HA, 	00-12	$3,870.00

Medacta Australia Pty Ltd

MU025	Quadra S Femoral Stem	Titanium, grit blast, non HA,	Standard #0 to #10 and #0 to #3 with a 	$3,870.00

shorter neck.  Lateralized #1 to #7 and #1 to

#3 with a shorter neck.

Smith & Nephew Surgical Pty Ltd

SM012	SL & SLR Plus Femoral Stem	Titanium, grit blast, non HA, 	Sizes 01-12 for SL & 1-6 for SLR	$3,870.00	$4,202.00

SM115	Proxy Plus Femoral Stem	Titanium, grit Blasted, triple tapered	5-20 various offsets	$3,870.00

SM126	SL Plus MIA Femoral Stem	Titanium, grit Blasted, double tapered	01-12 various offsets	$3,870.00	$4,202.00

SN842	Platform Hip Stem	Titanium grit blasted stem	0-12	$3,870.00

Stryker Australia Pty Ltd

SR056	Hipstar™ TMZF® Hip Stem	Titanium, grit blast and HA	Size 0 through to 12	$3,870.00

Zimmer Pty Ltd

ZI338	Natural Hip System	Femoral Stem Porous, Titanium	140 - 160mm	$3,870.00

ZI376	Cone Hip prosthesis	Titanium, grit blast, non HA	13 to 24mm	$3,870.00

ZI397	Variall Hip System	Titanium, grit blast, non HA	sizes 0 to 11,	$3,870.00

ZI462	Alloclassic Hip Stem	Titanium, grit blast, non HA, standard and high offset	1 - 14	$4,270.00

Prostheses List by Category, Groups and Sponsor	Page 485 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI463	Alloclassic Hip Stem	Zweymuller, Ti alloy, Short Cone, Slender Neck	01, 0, 1, 10-13	$4,270.00

ZI468	CLS Cementless Hip	Titanium, grit blast, non HA	5 - 20	$3,870.00	$4,270.00

N

Advanced Surgical Technologies

AD232	Profemur Total Hip System	Profemur E Stem - without HA grit blasted 'Titanium	1 Standard - 9 Standard	$3,870.00

AD238	Profemur Total Hip System	Profemur Z, Titanium Tapered Femoral Stem	Standard Length Sizes 1 - 9	$3,870.00

Global Orthopaedic Technology

GO135	R120 Uncemented Femoral Stem	Femoral Stem porous/HA coated, Modular, CrCo, 	Size 1 to 6	$3,870.00	$4,428.00

standard lengths

Group 05b - Uncemented, Grit Blast, HA, Standard and short, no modularity.

Austofix

AX044	Hyperion Uncemented Stem	Titanium, gritblast, HA coated, collared, collarless and high 	Sizes 9 to 20	$4,300.00

offset

B Braun Australia Pty Ltd

BB239	BiContact Cementless	Femoral stem, grit blast and HA 	8-21	$4,300.00

Corin Australia Pty Ltd

CR117	Metafix Femoral Stem	Titanium femoral stem striated and fully coated with HA	standard, lateralised and 125 degree	$4,300.00

Energy Orthopaedics Pty Ltd

EO040	FH Thira Femoral Stem	Ti & HA Femoral Stem	1-10	$5,000.00

EO046	Pharo	Pharo Stem, Titanium with HA	1-5mm	$4,300.00

Exactech Australia

EX002	Novation Element HA	Novation Press-Fit Element Stems are intended for press-	collarless: standard offset, 12/14, sizes 8-18 	$4,300.00

fix fixation and manufactured from Titanium 6A1-4V and 	Extended offset 12/14, sizes 8-18, collared:

have rectangular cross-sectional geometry with transverse 	standard offset 12/14, sizes 8-18

proximal grooves and distal parallell grooves.

Prostheses List by Category, Groups and Sponsor	Page 486 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI018	Freeman Hip Stem	Cobalt Chrome, ridged HA coated, cementless, grit blast	165 lengths, diameter 10-12-14-16-18-20, 	$4,300.00

offsets short 36mm and medium 40mm

FI036	APTA Hip Stem	Anatomic, Titanium, HA Coated, Modular Uncemented 	Sizes 1-8 in Left & Right, Collarless & 	$4,300.00

Femoral Stem	Collared

FI039	Hydra Hip Stem	Tapered, Titanium, HA Coated, Modular Uncemented 	Sizes 9 through 16	$4,300.00	$4,420.00

Femoral Stem

FI043	Finsbury Type C Stem	Tapered, Titanium, HA Coated, Uncemented Femoral 	Sizes 7 through 20. Standard & Lateralised	$4,300.00	$4,420.00

Stem

Johnson & Johnson Medical Pty Ltd

DY514	Kar Femoral Stem	Titanium, grit blast, full HA coating, fluted distally	Sizes ≤12, (length less than 200mm)	$4,300.00

Lifehealthcare Pty Ltd

LH366	Pavi / Targos Femoral Stem	Titanium, grit blast with HA	One piece varus neck in sizes 10-16 in lengths	$4,300.00

140 - 170mm.  One piece standard neck in

sizes 9 -16 , lengths 140 - 170mm.

Link Orthopaedics  Australia

LO034	CFP Hip Stem	Titanium, grit blast,  HA	Extra small to Extra Large	$4,300.00

LO111	Beta-Cone Cementless Hip Prosthesis	Titanium, grit blast, with HA	9 Stem sizes 1-9 plus additional 9 stems with 	$4,300.00

XL neck length.  Total 18 Sizes

Mathys Orthopaedics Pty Ltd

MA462	twinSys Non Cemented Femoral Stem	Titanium, grit blast, fully HA	Various offsets and sizes under 200mm length	$4,300.00

Medacta Australia Pty Ltd

MU003	Quadra Hip Femoral Stem 	Titanium, grit blast, fully HA,	Std 0 to 8 Lat 1 to 7	$4,300.00

Smith & Nephew Surgical Pty Ltd

SM106	SBG Femoral Stem	Titanium, grit blasted, proximal HA	05 - 7	$4,300.00

SN306	Synergy	Femoral stem: HA coated Titanium Alloy, Std and High 	9-20	$4,300.00

Offset

SN894	Anthology HAC	Femoral Stem - Titanium grit blasted HA coated	01-18 90mm-122mm	$4,300.00

Prostheses List by Category, Groups and Sponsor	Page 487 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

ST573	Omnifit hip stem	Titanium, grit blast and HA	Stem sizes 4-14	$4,300.00

Zimmer Pty Ltd

ZI520	Alloclassic Zweymuller Hip Stem HA Coated	Titanium, grit blast, with HA	1 - 12	$4,700.00

ZI556	Avenir- Muller Stem	Titanium, grit blast, with HA	Standard sizes 1-8;  Lateral sizes 1-8	$4,300.00	$4,600.00

N

Advanced Surgical Technologies

AD237	Profemur Total Hip System	Anca-fit Femoral Stem with 1/3 proximal HA, grit blast	9.5, 11, 12, 13, 14, 15, 16, 17.5, left and right	$4,300.00

Corin Australia Pty Ltd

CR099	Acor Anatomic Femoral Stem for Modular Neck	Anodised titanium, fully HA Coated,curved stem and used 	7 Sizes	$4,300.00

with separate neck

CR100	Integrale Femoral Stem	Anodised titanium, fully HA Coated,straight stem and used 	7 Sizes	$4,300.00

with separate neck

Lima Orthopaedics Australia Pty Ltd

LC003	Lima Total Hip Replacement System	F2L Multineck Femoral Stem Uncemented, beaded, with 	1 - 6	$4,300.00	$4,350.00

HA

LC028	H-Max Femoral stem	Modular stem	9-18	$4,300.00

Orthotech Pty Ltd

OH348	H-Max Femoral stem	Modular stem	9-18	$4,300.00

SCP

Johnson & Johnson Medical Pty Ltd

DP943	Corail Femoral Stem	Titanium, grit blast, full HA coating,  	Size K6 to K20 or in lengths 110 -190mm	$4,700.00

Orthotech Pty Ltd

OH279	JRI Furlong Total Hip System	Uncemented Femoral Stem, titanium, grit blast, with HA,  	12 /14 Taper, and 5mm offset, short and 	$4,700.00	$5,300.00

standard spigot

Prostheses List by Category, Groups and Sponsor	Page 488 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 05c - Uncemented, beaded, not HA, short and standard lengths, no modularity.

Advanced Surgical Design & Manufacture Ltd

AE122	Revelation Hip System - Femoral Component, Ti, Grit 	Non modular femoral hip stem, designed for uncemented 	16 stems: 8 sizes Left & 8 sizes Right - 8.0, 	$4,350.00

Blast, non HA, standard & lateral offset	use, left & right specific with 130 degree neck angle & 12 	9.0, 10.5, 12.0, 13.5, 15.0 & 16.5

degrees of built-in anteversion.  Proximal circumferential

"3D" beading, a highly polished neck & highly polished

distal stem

Johnson & Johnson Medical Pty Ltd

DY516	Solution Implantable Hip System	Revision Standard & MMA 8 straight or bowed porous 	6 inch (150mm) size 10.5 - 22.5	$4,350.00

coated collarless, coxa vara or high offset uncemented stem

JJ604	Tri-lock Femoral Stem	Titanium, proximally beaded, (porocoat) not HA, 	Sizes 0-10 with various offsets	$4,500.00

Smith & Nephew Surgical Pty Ltd

SN270	Echelon	Femoral Stem Porous Co Cr, Std and High Offset	9 - 19	$4,350.00

SN305	Synergy	Femoral stem Beaded Titanium Alloy, Std and High Offset	9-20	$4,350.00

Zimmer Pty Ltd

ZI022	Zimmer Hip Systems Femoral Stem	VerSys Beaded Fullcoat - Cobalt Chrome, Short & 	11 - 20	$4,435.00

Standard

Group 05d - Uncemented, beaded, HA, short and standard lengths, no modularity.

Johnson & Johnson Medical Pty Ltd

DY134	Summit Femoral Stem	Titanium, beaded proximally with HA, duofix distal grit blast	Size 1-10	$4,850.00

DY424	Proxima Femoral Stem	Titanium, beaded with HA (duofix), metaphyseal stem	Size 1 to 8	$4,850.00

Smith & Nephew Surgical Pty Ltd

SN003	Image Hip Stem	Titanium, beaded, HA	Sizes 9 - 18	$4,850.00	$5,408.00

SN303	Synergy	Femoral Stem HA Coated beaded Titanium Alloy, Std and 	9 - 18	$4,850.00	$5,408.00

High offset

Prostheses List by Category, Groups and Sponsor	Page 489 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN678	Echelon with HA	Cobalt Chromium with Hyrdoxyapetite Coating, beaded	11-20	$4,850.00	$5,408.00

SN751	Synergy	Shortened Synergy Stem, Titanium, beaded, HA	1-18	$4,850.00	$5,408.00

SN825	Birmingham Mid Head Resection Stem	Titanium, Beaded and HA 	1-19	$4,850.00	$5,408.00

SN843	Anthology Hip System	Titanium, Beaded and HA 	0-20	$4,850.00	$5,408.00

Group 05e - Uncemented, mesh, not HA, short and standard lengths, no modularity.

ESKA Australia

EK086	Adapter Uncemented Femoral Stem	Co Cr, Titanium Spray, 3 Dimensional Metal,	Femoral Stem 1 - 7	$4,450.00

Zimmer Pty Ltd

ZI006	Mayo Hip	Titanium, mesh (fibre metal), non HA	Small, medium, large and extra large.	$4,450.00	$4,995.00

ZI016	Zimmer 'VerSys Hip Systems Femoral Stem	Titanium, mesh (fibre metal), non HA	9 - 18	$4,450.00	$4,990.00

N

ESKA Australia

EK023	Cut Femoral Stem	CoCr, Titanium, 3 dimensional, metaphyseal neck 	Femoral stems - 80mm-110mm, Dual Cone - 	$4,450.00	$4,888.00

preserving, non HA	10degrees-20degrees

Group 05f - Uncemented, mesh, HA, short and standard lengths, no modularity.

ESKA Australia

EK087	Adapter Uncemented Femoral Stem	CoCr, Titanium Spray, 3 Dimensional Metal, HA	Femoral Stem 1 - 7	$4,950.00

Zimmer Pty Ltd

ZI017	Zimmer 'VerSys Hip Systems Femoral Stem	Titanium, mesh (fibre metal), with HA	9 - 18	$4,950.00	$5,325.00

Group 05g - Uncemented, plasma, not HA, short and standard lengths, no modularity.

Biomet Australia Pty Ltd

BI040	Integral Hip System	Titanium Alloy, Plasma,  non HA	Length from 125mm to 175mm,  9-19mm	$4,500.00	$4,680.00

BI048	Balance Hip System	Titanium, plasma non HA	7 - 18mm	$4,500.00	$4,680.00

BI049	Bi-Metric Hip System	Titanium, plasma non HA	7-17mm	$4,500.00	$4,680.00

Prostheses List by Category, Groups and Sponsor	Page 490 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI074	Biomet Taperloc Hip System	Titanium, plasma non HA	7.5mm - 22.5mm	$4,500.00	$4,680.00

BI139	Mallory Head Hip System	Titanium, plasma 	7-19mm x 135 -180mm 	$4,500.00

BI981	Echo Hip System Bi Metric Femoral Stem	Echo Bi Metric Cementless Titanium Femoral Component	7 - 17mm	$4,500.00

Global Orthopaedic Technology

GO176	APEX K1tm Hip System	K1 Femoral Stem - titanium plasma uncemented non-HA	Stem std and lat sizes 1 to 12	$4,500.00	$5,044.00

Mathys Orthopaedics Pty Ltd

MA424	GSS-CO Non Cemented Femoral Stem	Titanium, proximal plasma, non HA	Sizes 1-7; Length 145-200mm	$4,500.00

Portland Orthopaedics (Aust) Pty Ltd

PD040	M-COR-TL Femoral Stem	Titanium, plasma sprayed, non HA, standard & short length	1-9	$4,500.00

taper lock stem

Stryker Australia Pty Ltd

SR027	Accolade HFx	CoCr,plasma not HA 	Stem sizes 1-8, 127 degree neck	$4,500.00

Zimmer Pty Ltd

ZI296	Anatomic II Hip System Femoral Stems	Titanium, plasma Spray, no HA 	Sizes 9 - 19	$4,500.00	$4,890.00

ZI302	VerSys Hip System Femoral Stems	Minimally invasive hip stem	Sizes 9 - 19	$4,500.00	$4,890.00

ZI327	M/L Taper Femoral Stem	Titanium, plasma spray, non HA 	9mm - 18mm in 1mm increments, 10 sizes in 	$4,500.00	$4,890.00

all

ZI557	Porolock MIS Hip Stem	Curved uncemented MIS Stem with TiVPS coating	 A 140° size 1-14 ; B137° size 1-14 ; B 	$4,500.00	$4,890.00

extended offset 129° size 1-14 ; C127° size

1-14

N

Advanced Surgical Technologies

AD337	Profemur TL	Primary stem, tapered wedge, plasma coated	1-12	$4,500.00	$4,680.00

Global Orthopaedic Technology

GO074	Paragon Femoral Stem, Non HA	Titanium, proximal plasma, non HA	1-14	$4,500.00

Portland Orthopaedics (Aust) Pty Ltd

PD021	M-COR  Femoral Stem	Titanium, plasma sprayed, standard and short length distal 	29x9 to 41x17; 9mm to 17mm diameter; 	$4,500.00

flutes	140mm to 165mm length

Zimmer Pty Ltd

ZI554	M/L Taper Hip Stem with Kinectiv Technology	Titanium, plasma, non HA	size 5, 6, 7.5, 9, 10, 11, 12.5, 13.5, 	$4,500.00	$4,890.00

15,16.25,17.5

Prostheses List by Category, Groups and Sponsor	Page 491 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 05h - Uncemented, plasma, HA, short and standard lengths, no modularity.

B Braun Australia Pty Ltd

BB274	Excia Hip System	plasma titanium, HA	8mm-18mm	$5,000.00

Biomet Australia Pty Ltd

BI075	Biomet Taperloc Hip System	titanium, plasma, HA	7.5mm - 22.5mm	$5,000.00	$5,044.00

BI100	Bi Hapro Hip System	Cobal Chrome, Plasma and HA	Size 1 to 8 	$5,000.00

BI141	Mallory Head Hip System	Titanium, plasma and HA	7-19mm 	$5,000.00	$5,044.00

BI779	CDH Hip System	Titanium, plasma and HA	8-12 mm Diameter	$5,000.00	$5,044.00

Corin Australia Pty Ltd

CR086	Tri-Fit Femoral Stem	Titanium stem proximally coated with plasma spray and HA	5-20mm	$5,000.00

CR089	Alpha Fit Femoral Stem	Titanium stem proximally coated with plasma spray and HA	9.5mm, 11mm, 12.5mm, 14mm, 15.5mm, 	$5,000.00

17mm

CR157	MiniHip Stem	Short stem, Titanium, Plasma Spray with HA	9 sizes	$5,000.00

Exactech Australia

EX009	Novation Tapered and Splinned Femoral Stem	Novation Press-Fit femoral components are manufactured 	tapered: Standard Offset, size 9-18, Extended	$4,500.00

from titanium alloy.  The stem has a circulo-trapezoidal 	 Offset, Size 9-18; HA, Standard Offset, Size

cross-sectional geometry and distal taper.	9-18; HA, Extended Offset, Size 9-18,

splinned: Standard Offset, Size 9-18;

Extended Offset, Size 9-18, RDD Standard

Offset size 11-18, RDD Extended Offset size

11-18, HA Standard Offset Size 9-18; HA

Extended Offset Size 9-18; HA RDD

Standard Offset size 11-18, HA RDD

Extended Offset size 11-18

EX013	Exactech Femoral Stem	Novation Hip System	9-18	$5,000.00

Lima Orthopaedics Australia Pty Ltd

LC015	Sam-Fit modular stem	Modular stem	1 - 7	$5,000.00

Orthotech Pty Ltd

OH232	Exactech Femoral Stem	Novation Hip System	9-18	$5,000.00

Prostheses List by Category, Groups and Sponsor	Page 492 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH280	JRI Furlonjg active stem	JRI Furlong Active Stem, Titanium Aloy with Supravit 	12 / 14 Taper, 9-16mm	$5,000.00	$5,300.00

Coating, 12/14 Taper

Smith & Nephew Surgical Pty Ltd

SM013	SL & SLR PLUS Femoral Stem	Titanium, Plasma spray, proximal HA coating	01 to 12 for SL & 1-6 for SLR, various offsets	$5,000.00	$5,195.00

SM122	POLARSTEM FEMORAL STEM SYSTEM	Titanium, Plasma spray, full HA coating	0-8, various offsets	$5,000.00	$5,195.00

SM127	SL Plus MIA Femoral Stem	Titanium, Plasma spray, proximal HA coating	01-12, various offsets	$5,000.00	$5,195.00

SN900	NANOS Neck Preserving Stem	.Neck preserving femoral stem with vacuum plasma spray 	Size 0 to Size 9	$5,000.00

titanium porous coating and Calcium Phosphate electro

chemical deposition process coating (Bonit Coating) for use

without modular femoral neck choices

Stryker Australia Pty Ltd

HW024	ABG11 Hip Stem Prosthesis(Various)	Titanium, Plasma coated with HA 	Stem sizes 1 - 8 Left,  1 - 8 Right	$5,000.00

HW055	Citation Hip	TMZF - HA Stem -  Titanium/HA coated 	Stem sizes 0 - 8 Left & Right	$5,000.00

SK447	Rejuvinate SPT (Monolithic Stems, TMZF) Hip System	Titanium (TMZF), plasma coated, HA	4-12	$5,000.00

ST541	Secur-Fit Plus max hip system	Titanium, plasma, HA 	Stem sizes 7-14	$5,000.00

ST574	secur-fit HA Max hip stem	Titanium, plasma coated, HA	Stem sizes 4-14 in 127 and 132 degree neck 	$5,000.00

angles

ST575	ACCOLADE hip prostheses	Titanium, plasma coated, HA	Stems sizes 0, 1, 2, 2.5,3, 3.5, 4, 4.5, 5, 5.5, 	$5,000.00

6, 7, 8

ST587	Osteonics hip prostheses	Restoration stem - 155mm  titanium - HA coated	155mm length - stem sizes 7-12	$5,000.00

Zimmer Pty Ltd

ZI493	M/L Taper   Stem	Plasma sprayed titanium with HA 	Sizes 5 to 22 with standard and extended 	$5,000.00	$5,270.00

offsets

ZI495	Zimmer Anatomic II 	Titanium, plasma spray with HA	Sizes 1 - 12, left and right	$5,000.00	$5,270.00

N

Advanced Surgical Technologies

AD278	Profemur Total Hip System	Titanium Tapered Stem - HA Plasma Spray	Sizes 9 to 18 in 1 mm increments	$5,000.00

AD279	Profemur Total Hip System	Titanium Stem with HA Plasma Spray, standard & reduced	Size 10 -18	$5,000.00

flare

Prostheses List by Category, Groups and Sponsor	Page 493 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

B Braun Australia Pty Ltd

BB295	Metha - modular short stem	Short stem, plasma, HA 	1 -6	$5,000.00

Global Manufacturing Technology Pty Ltd

GM090	APEX Global Femoral Stem	Titanium, plasma coated, proximal HA , standard and short	Sizes 2-8	$5,000.00

lengths

GM117	MSA Global Femoral Stem	Titanium, plasma spray, with HA, distal flute & polished	0 - 6	$5,000.00

GM120	K2 Global Femoral Stem	Titanium, plasma spray, proximal HA	Size 0to size 12	$5,000.00

Global Orthopaedic Technology

GO034	UniSyn Non Modular Femoral Stem	Titanium, proximal plasma spray with HA, distal flutes	0 to 6	$5,000.00

GO037	Paragon Femoral Stem	Titanium, proximal plasma & HA	1 to 14	$5,000.00

Lifehealthcare Pty Ltd

LH069	MBA stem 	Titanium, grit blast with HA	1 - 8	$5,000.00

LH183	Lyderic II HA Modular Stem	Titanium, plasma with HA	Size 6-11	$5,000.00

Portland Orthopaedics (Aust) Pty Ltd

PD038	M-COR Femoral Stem HA	Titanium, plasma sprayed, HA coated, standard & short 	29x9 to 41x17, 9mm to 17mm diameter, 	$5,000.00

length distal flutes	140mm to 165mm length

PD039	M-COR-TL Femoral Stem HA	Titanium, plasma sprayed, HA coated, standard & short 	1-9	$5,000.00

length taper lock stem

Stryker Australia Pty Ltd

SK445	Rejuvinate SPT Femoral Hip System	Titanium (TMZF), plasma, HA with removable neck	7-12	$5,000.00

SR062	ABGll Modular Stem	Titanium (TMZF), plasma, HA with removable neck	1-8 (left and right)	$5,000.00

Zimmer Pty Ltd

ZI555	M / L Taper Hip Stem with Kinectiv Technology	Titanium, plasma spray with HA	size 5,  6 , 7.5, 9, 10, 11, 12.5, 13.5, 15, 	$5,000.00	$5,270.00

16.25, 17.5

Group 05j - Uncemented, unpolished and polished, HA, short and standard lengths, no modularity.

Lima Orthopaedics Australia Pty Ltd

LC013	FIT stem	FIT anatomical Femoral Stem	1-7	$4,000.00

Prostheses List by Category, Groups and Sponsor	Page 494 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 05k - Uncemented, other, not HA, short and standard lengths, no modularity.

Johnson & Johnson Medical Pty Ltd

JJ777	Tri-Lock Gription Femoral Stem	Titanium, Femoral stem, GRIPTION coated	Size 0-12 standard and high offset	$4,450.00	$5,114.00

Zimmer Pty Ltd

ZI492	Trabecular Metal Femoral Stem	Titanium, porous tantalum 	Sizes 9 to 18 with standard and extended 	$4,450.00	$5,270.00

offsets

Group 05l - Uncemented, other, HA, short and standard lengths, no modularity.

Zimmer Pty Ltd

ZI014	Zimmer Epoch Hip Systems Femoral Stem	Cobalt Chrome, Core, PAEK outer matrix, Titanium mesh 	14 - 18 mm	$4,950.00

with HA

ZI365	Natural Hip System	Titanium stem with cancellous spray titanium coating with 	00 to 7	$4,950.00

HA, standard and high offset

Group 06a - Uncemented, Grit Blast, not HA, standard and short, modularity.

Smith & Nephew Surgical Pty Ltd

SN899	MDF Revision System	Femoral Stem - Titanium grit blasted for use with moduylar 	10-25 - 150mm - 190 mm	$3,120.00	$4,820.00

femoral neck choices anteverted, retroverted, standard and

multiple height.  Allows fixation of proximal sleeve in

various shapes (suffix - N, SV & MOD3)

Zimmer Pty Ltd

ZI611	Revitan Modular Straight Stem	Titanium, grit blast, non HA, cobalt chrome junction	14 x 175, 140mm; 18 x 140mm; 20, 22, 24 x	$3,120.00	$6,106.00

195mm

ZI613	ZMR Modular Revision Hip System - Stem	Titanium, grit blast, non HA	150 to 17mm	$3,120.00	$6,106.00

Mod 2BA

Energy Orthopaedics Pty Ltd

EO044	MRP-TITAN Neck Segment	Body without fin with locking screw Cone 12/14, body 	K, M, L	$2,860.00

with fin with locking screw Cone 12/14, body with

trocanter with locking screw Cone 12/14, special implant

for trocanter

Prostheses List by Category, Groups and Sponsor	Page 495 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod2B

Biomet Australia Pty Ltd

BI086	Impact Modular Total Hip System	Femoral body, Titanium, grit blast, non HA	Size 3-6 Small/Medium	$2,860.00	$5,500.00

BI087	Impact Modular Total Hip System	Femoral Segment, Metaphyseal, Uncemented , Titanium	Size 3-6, Small/Medium	$2,860.00	$4,800.00

Stryker Australia Pty Ltd

ST001	Restoration T3 Revision Hip System - Proximal body	Titanium femoral body, grit blast, non HA	S,M,L	$2,860.00

Mod2BA

Global Manufacturing Technology Pty Ltd

GM052	SMR Modular Femoral Stem Proximal Body	Titanium, grit blast, non HA, 	40 to 70mm	$2,860.00	$3,860.00

Lima Orthopaedics Australia Pty Ltd

LC009	Lima Modulus Hip System	Femoral Body, grit blast, non HA	body w/screw, small and large	$2,860.00

Smith & Nephew Surgical Pty Ltd

SM016	Modular Plus Femoral System Proximal Femoral Body	Titanium, grit blasted, with stem locking bolt	sizes AS/AL/BS/BL/CS/AX less than 75mm, 	$2,860.00	$3,626.00

various offsets

Mod2SpA

Energy Orthopaedics Pty Ltd

EO004	MRP-TITAN Stem	Short diopyseal stem	30mm length - diameter 16mm, 18mm, 	$1,215.00

20mm, 22mm

mod2st

Portland Orthopaedics (Aust) Pty Ltd

PD034	M-COR-R Revision Hip Stem System/ M-COR-R 	Grit blasted, titanium distal stem, standard lengths	10 - 23mm diameter, 155 - 175mm length	$3,120.00

Distal Stem Straight

Mod2StA

Biomet Australia Pty Ltd

BI081	Impact Modular Total Hip System	Grit Blast non HA	10-15mm Diameter	$3,120.00	$3,520.00

BI926	Impact Modular Total Hip System	Femoral Segment, Diaphyseal, Standard. Titanium	16-21mm Diameter	$3,120.00

Lima Orthopaedics Australia Pty Ltd

LC010	Lima Modulus Hip System	Femoral Stem, titanium, grit blast, non HA	Femoral Stem 16mm - 26mm	$3,120.00

LC030	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	$3,120.00

Prostheses List by Category, Groups and Sponsor	Page 496 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA500	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	$3,120.00

Orthotech Pty Ltd

OH359	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	$3,120.00

Zimmer Pty Ltd

ZI379	PFM Hip series	Uncemented Stems, titaniuam, grit blast and non HA 	140 to 260 x 14 to 24	$3,120.00	$4,824.00

Mod3BA

Link Orthopaedics  Australia

LO020	Link femoral body 	Titanium, Grit blast, femoral Body 	35-65mm / 126 & 135 CCD	$2,860.00

LO025	Link femoral body 	Titanium, grit blast, non HA	35-65mm IN 126 & 135 degrees	$2,860.00

LO134	Waldemar Link MP Reconstruction Hip Prosthesis	Link body, Titanium, grit blast, non HA	35-65mm IN 126 & 135 degrees	$2,860.00

LO140	Link Body 	Titanium, grit blast, non HA	35 - 65mm	$2,860.00

Mod3SpA

Link Orthopaedics  Australia

LO026	lLink spacer 	Titanium, grit blast, non HA 	10mm - 40mm	$1,215.00

Mod3SpN

Advanced Surgical Technologies

AD319	Profemur Total Hip System	Extension Piece for the profemur R, Titanium, grit blast	L26 x D19mm, D21mm & D23mm; 	$1,215.00	$1,615.00

Mod3StA

Energy Orthopaedics Pty Ltd

EO001	MRP- TITAN Stem	Modular Revision Titanium stem, straight and curved	140mm  diameter 13-30	$3,120.00

Link Orthopaedics  Australia

LO021	Link MP Reconstruction Hip Prosthesis	Stem, grit blast, titanium non HA	12 - 25mm x 160mm	$3,120.00

Group 06b - Uncemented, Grit Blast, HA, Standard and short, modularity.

Mod2B

Energy Orthopaedics Pty Ltd

EO026	ESOP HA	Esop Femoral body Metaphyseal grit blast Ti/HA, 	Left and Right Size 5-20	$3,120.00

Prostheses List by Category, Groups and Sponsor	Page 497 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod2BA

Johnson & Johnson Medical Pty Ltd

DP005	Reef Hip Proximal Body & Neck	Titanium neck combined with small proximal body of 	25-35mm	$3,120.00

varying size, grit blast, HA. With locking screw

Mod3BA

Link Orthopaedics  Australia

LO133	Waldemar Link MP Reconstruction Hip Prosthesis	Link body, Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	$3,120.00

LO135	Waldemar Link MP Reconstruction Hip Prosthesis	Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	$3,120.00

LO141	Link MP reconstruction hip prostheses	Titanium, grit blast, HA	38 & 58 mm	$3,120.00

LO142	Prostheses, Femoral Head	Link body, Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	$3,120.00

Mod3StA

Link Orthopaedics  Australia

LO136	Waldemar Link MP Reconstruction Hip Prosthesis	Stem	12 x 160, 180, 210, 250 - MP; 14 x 160, 	$3,520.00

180 -MP; 16 x 160, 180 - MP; 18 x 160,

180 - MP; 20 x 160, 180 - MP; 22.5 x 160,

180 -MP; 25 x 160, 180 - MP

Group 06c - Uncemented, beaded, not HA, short and standard lengths, modularity.

Smith & Nephew Surgical Pty Ltd

SN895	MDF Revision System	Modular sleeve with Stiktite titanium porous coating	Small, Medium, Large and X-Large - sizes 	$2,860.00	$3,020.00

10-25

Mod2CoA

Johnson & Johnson Medical Pty Ltd

DP982	SROM ZTT Femoral Sleeve	Titanium, beaded without HA, proximal femoral cone	Small / Large / XX large size 14B-24F	$3,120.00

Group 06d - Uncemented, beaded, HA, short and standard lengths, modularity.

Smith & Nephew Surgical Pty Ltd

SN896	MDF Revision System	Modular Sleeve with Stiktite titanium porous coating and 	Small, Medium, Large, and X-Large - sizes 	$3,120.00	$3,520.00

HA coating	10-25

Prostheses List by Category, Groups and Sponsor	Page 498 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod2Co

Smith & Nephew Surgical Pty Ltd

SN819	Emperion Revision Hip	Proximal Modular Cone Standard, beaded HA coated 	0, 1, 2, 3, 4, standard and long	$3,520.00

SN820	Emperion Revision Hip	Proximal Modular Cone Long	0, 1, 2, 3, 4	$3,520.00

Mod2CoA

Johnson & Johnson Medical Pty Ltd

DP981	SROM ZTHA Femoral Sleeve	Titanium, grit blasted with HA, (proximal femoral cone)	Small / Large /XX Large  size 14B-24F	$2,930.00

Group 06g - Uncemented, plasma, not HA, short and standard lengths, modularity.

Mod2B

Biomet Australia Pty Ltd

BI015	Reach Revision Hip System	Titanium, Cobal Chrome, non HA	Proximal Body #1-6	$3,120.00

BI082	Impact Modular Total Hip System	Femoral body, plasma, Titanium, non HA 	Size 1-6 x Small/Medium	$3,120.00	$3,620.00

Portland Orthopaedics (Aust) Pty Ltd

PD031	M-COR-R Revision hip Stem System / M-COR-R 	Plasma sprayed, forged titanium, conical or standard 	21-26mm proximal diameter, 50mm length	$3,120.00

Proximal Body	proximal body, standard length

Mod2BA

Global Orthopaedic Technology

GO016	UniSyn Proximal Femoral Body non HA	Titanium, plasma spray, non HA	single height, variable diameter and variable 	$3,120.00	$3,520.00

medial projections

Mod2BACalcar

Biomet Australia Pty Ltd

BI126	Modular Calcar Mallory Head Revision Hip System	Femoral body, Titanium, plasma, non HA	34, 45, 55 resection levels x size a,b,c,d,e 	$3,620.00

mod2st

Portland Orthopaedics (Aust) Pty Ltd

PD032	M-COR-R Revision  Hip System / M-COR-R Distal 	Plasma sprayed, titanium distal stem, standard lengths	10 - 23mm diameter, 155-175mm length	$3,520.00

Stem Straight P

Mod2StA

Global Orthopaedic Technology

GO013	UniSyn Hip Plasma Femoral Stem	Titanium, plasma spray, non HA	<200mm	$3,520.00	$5,920.00

Prostheses List by Category, Groups and Sponsor	Page 499 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod3CoA

Exactech Australia

EX014	Exactech M series modular Hip System	Modular Titanium Revision Hip - Metaphyseal Segment	25-27mm, S, M, L, XL	$3,120.00

EX015	Exactech M series modular Hip System	Femoral cone, titanium, plasma, not HA	21 - 23mm, S, M, L, XL	$3,120.00

EX016	Exactech Total Hip System	Modular Titanium Revision Hip - Metaphyseal Segment	29-31mm, S, M, L, XL	$3,120.00

Orthotech Pty Ltd

OH060	Exactech M series modular Hip System	Femoral cone, titanium, plasma, not HA	21 - 23mm, S, M, L, XL	$3,120.00

OH119	Exactech M series modular Hip System	Modular Titanium Revision Hip - Metaphyseal Segment	25-27mm, S, M, L, XL	$3,120.00

OH120	Exactech Total Hip System	Modular Titanium Revision Hip - Metaphyseal Segment	29-31mm, S, M, L, XL	$3,120.00

Group 06h - Uncemented, plasma, HA, short and standard lengths, modularity.

Mod2B

Biomet Australia Pty Ltd

BI089	Hap Impact Stem (Various)	Femoral body, Titanium, plasma,  HA	Size 3-6, Small/Medium 	$3,520.00	$4,020.00

BI837	Reach Revision Hip System	Modular Reach Proximal Body - Collared/Collarless, Ti, 	Proximal Body #1 - 6	$3,520.00

HA Coated

Mod2BACalcar

Biomet Australia Pty Ltd

BI128	Modular Calcar Mallory Head Revision Hip System	Femoral body, Titanium, plasma, HA, Calcar	34, 45, 55 resection levels x size a,b,c,d,e 	$4,020.00

Mod2St

Stryker Australia Pty Ltd

SK058	Stryker Modular Revision Hip System	Porous Distal Stems Titanium Plasma Spray	Stem Lengths 127 & 167mm straight & 	$3,920.00

bowed. Diameter 11-26mm

Mod3BN

Advanced Surgical Technologies

AD234	Profemur Total Hip System	Titanium uncemented proximal body - HA Plasma sprayed	X-Small, Small, Standard 1, Standard 2, 	$3,520.00

Standard 3, Standard 4, Large

Prostheses List by Category, Groups and Sponsor	Page 500 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod3CoA

Global Orthopaedic Technology

GO017	UniSyn Proximal Femoral Body with HA	Titanium, plasma spray, with HA	single height, variable diameter and variable 	$3,520.00

medial projections

Group 06i - Uncemented, unpolished and polished, not HA, short and standard lengths, modularity.

Johnson & Johnson Medical Pty Ltd

JJ749	SROM Femoral Stem	Titanium, fluted, distal polished femoral stem & neck	Sizes 6-21	$4,720.00

JJ750	SROM Calcar Replacement Femoral Stem	Titanium, fluted, distal polished femoral stem & neck, with 	Sizes 6-21	$5,220.00

calcar replacement

mod2St

Energy Orthopaedics Pty Ltd

EO027	ESOP HA	ESOP Femoral Stem Diaphyseal Ti polished	Size 9-15	$3,520.00

Smith & Nephew Surgical Pty Ltd

SN749	Emperion Revision Hip	Polished non HA	Short & Long	$4,120.00

Stryker Australia Pty Ltd

SK022	Modular Revision System Fluted Distal Stems	Titanium, polished, fluted, no HA	Stem Lengths 127 & 167mm straight & 	$3,520.00	$4,120.00

bowed. Diameter 11-26mm

Mod2StA

Global Orthopaedic Technology

GO011	UniSyn Hip Fluted Femoral Stem	Titanium, highly polished, fluted	<200mm	$3,520.00	$3,920.00

Mod2StCalcar

Smith & Nephew Surgical Pty Ltd

SN817	Emperion Revision Hip	Polished modular stem with option of calcar	+10, +20mm	$4,620.00	$5,686.00

Mod3StA

Exactech Australia

EX017	Exactech M series modular Hip System	Modular femoral stem, titanium, polished, non HA	11 - 21mm x 135-165mm	$3,520.00

Orthotech Pty Ltd

OH059	Exactech M series modular Hip System	Modular femoral stem, titanium, polished, non HA	11 - 21mm x 135-165mm	$3,520.00

Prostheses List by Category, Groups and Sponsor	Page 501 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 07a - Uncemented, Grit Blast, not HA, long length, no modularity.

B Braun Australia Pty Ltd

BB273	HuckStep Hip System	Titanium, plasma coated femoral stem	Long length	$5,410.00

Biomet Australia Pty Ltd

BI097	Kent Hip System	Titanium, grit blast, non HA, distal screw holes 	Narrow, Std.  Size 6 - 16 hole 	$5,410.00

BI778	PLR Splined Revision Stem	Splined Straight Stem, Ti, grit blast, non HA	14-24mm x 270mm	$5,410.00

Mathys Orthopaedics Pty Ltd

MA428	CBK Long Femoral Stem	Titanium, grit blast, fluted, long, tapered	All >200mm, various diameters	$5,410.00

Smith & Nephew Surgical Pty Ltd

SM014	SLR Plus Long Femoral Stem	Titanium, grit blast, non HA, long stem	Sizes 7-12	$5,410.00

Zimmer Pty Ltd

ZI377	Wagner Revision Hip Prosthesis	Uncemented Stem Titanium, grit blast, non HA	190/14 to 385/25	$5,410.00	$5,650.00

Group 07b - Uncemented, Grit Blast, HA, long length, no modularity.

Johnson & Johnson Medical Pty Ltd

DY515	Kar Femoral Stem	Titanium, grit blast, full HA coating, fluted distally	Sizes 14 - 20, (length 200mm & greater)	$5,750.00

Mathys Orthopaedics Pty Ltd

MA475	twinSys Non Cemented Long Femoral Stem	Titanium, grit blast, fully HA, long	Various offsets and sizes > 200mm length (14 	$5,750.00

& 15)

Medacta Australia Pty Ltd

MU058	Quadra-R Hip Revision Stem	Uncemented revision stem, HA Coated	From size 0 to size 9`	$5,750.00

Orthotech Pty Ltd

OH281	JRI Furlong revision Total Hip System	Modular femoral stem, Grit blast, HA 	12 / 14 Taper, 200mm long, 200ml long 5mm 	$5,750.00	$6,000.00

offset

Prostheses List by Category, Groups and Sponsor	Page 502 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 07c - Uncemented, beaded, not HA, long length, no modularity.

Johnson & Johnson Medical Pty Ltd

DY517	Solution Implantable Hip System	Revision Standard & MMA 8 straight or bowed porous 	8 inch (200mm) size 10.5 - 22.5	$5,750.00

coated collarless, coxa vara or high offset uncemented stem

Smith & Nephew Surgical Pty Ltd

SN272	Echelon	Revision Hip Stem - Porous, Standard Collar	Sizes 11 - 22	$5,750.00

Zimmer Pty Ltd

ZI497	Zimmer Hip Systems Femoral Stem	VerSys Beaded Fullcoat - Cobalt Chrome, Long	11 - 20	$4,849.00

Group 07g - Uncemented, plasma, not HA, long length, no modularity.

Biomet Australia Pty Ltd

BI041	Integral Hip System	Titanium Alloy, plasma, not HA, long	Length from 180mm to 225mm, 9-20mm	$5,900.00

BI052	Bi-Metric Hip System	Revision 200 Stem, Titanium, plasma non HA	9-17mm	$5,900.00

BI053	Bi-Metric Hip System	Revision 250 Stem, Titanium,  plasma, non HA	9-17mm	$5,900.00

BI054	Bi-Metric Hip System	Revision 300mm Femoral  Stem, Titanium, plasma non HA	9-17mm	$5,900.00

BI135	Mallory Head Hip System	Femoral Stem, Revision, Titanium	250mm, size 7 to 19mm	$5,900.00

BI137	Mallory Head Hip System	Femoral Stem, Revision, Titanium	300mm, size 7 to 19mm	$5,900.00

BI692	Reach Revision Hip System	Titanium plasma no HA	Sizes 13 - 19 (L&R) by 200 - 250mm)	$5,900.00

Group 07h - Uncemented, plasma, HA, long length, no modularity.

Orthotech Pty Ltd

OH282	JRI Total Hip System	JRI Furlong Revision Stems, Titanium Alloy with Supravit 	12 / 14 taper, 250mm long, 250ml long 5mm 	$6,400.00

Coating, 12 / 14 Taper	offset

OH283	JRI Total Hip System	JRI Furlong Revision Plus Stem, Titanium Alloy with 	12 / 14 Taper, 200mm long and 200ml long 	$6,400.00

Supravit Zoned Coating, 12 / 14 Taper	with 5mm offset

Prostheses List by Category, Groups and Sponsor	Page 503 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH284	JRI Total Hip System	JRI Furlong Revision Plus Stem, Titanium Alloy with 	12 / 14 Taper, 250mm long, and 250ml long 	$6,400.00

Supravit Zoned Coating, 12 / 14 Taper	with 5ml offset

Smith & Nephew Surgical Pty Ltd

SM015	SLR Plus Long Femoral Stem	Titanium, Plasma spray, proximal HA coating, long stem	7-11, various offsets	$6,400.00

Stryker Australia Pty Ltd

ST588	Osteonics hip prostheses	Restoration stem - 205mm  titanium - HA coated	205mm length - stem sizes  8-12	$6,400.00

ST591	Osteonics hip prostheses 	Restoration HA long stem titanium - HA coated anatomic 	255mm length - stem sizes 8 - 14, left & right	$6,400.00

(left & right)

Group 08a - Uncemented, Grit Blast, not HA, long length, modularity.

Smith & Nephew Surgical Pty Ltd

SN897	MDF Revision System	Femoral stem - Titanium grit blasted for use with modular 	10-25 - 200mm - 360mm	$4,620.00	$6,100.00

femoral neck - choices anteverted, retroverted, standard &

multiple height.  Allows fixation of proximal sleeve in

various shapes (suffix-N,SV & MOD3)

Zimmer Pty Ltd

ZI612	Revitan Modular Straight Stem	Titanium, grit blast, non HA, cobalt chrome junction	14, 16, 18, 20, 22, 24, 26, 28 x 255mm; 16, 	$4,620.00	$6,106.00

18, 20, 22, 24, 26 x 315mm

ZI614	ZMR Modular Revision Hip System - Stem	Titanium, grit blast, non HA	205, 220, 255, 270mm Straight & Bowed	$4,620.00	$6,106.00

Mod2BA

Global Manufacturing Technology Pty Ltd

GM055	SMR Modular Hip System	Calcar Component	40 to 70mm	$3,860.00

Lima Orthopaedics Australia Pty Ltd

LC027	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm	$3,860.00

Mathys Orthopaedics Pty Ltd

MA499	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm	$3,860.00

Orthotech Pty Ltd

OH218	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm	$3,860.00

Prostheses List by Category, Groups and Sponsor	Page 504 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM145	PLUS Hip Joint Prostheses System	Titanium, grit blasted, with stem locking bolt	Sizes CL/BX/CX >=75mm various offsets	$4,520.00

Zimmer Pty Ltd

ZI378	PFM Hip series	Titanium, grit blast, non HA, femoral body	55 to  85 	$3,860.00

ZI490	Revitan Modular Proximal Body	Titanium, grit blast, non HA, femoral body	55, 65, 75, 85, 95 and 105mm heights	$3,860.00

Mod2St

Link Orthopaedics  Australia

LO137	Waldemar Link MP Reconstruction Hip Prosthesis	Stem	14 - 25mm x 210, 250, 290 & 330mm; 	$4,620.00

Portland Orthopaedics (Aust) Pty Ltd

PD030	M-COR-R Revision Hip Stem System/ M-COR-R 	Grit blasted, titanium distal stem, long lengths	10-23mm diameter, 200-275mm length	$4,620.00

Distal Stem Bowed

Stryker Australia Pty Ltd

SK059	Stryker Modular Revision Hip System	Titanium Alloy Bowed Conical Distal Stems	Restoration Modular bowed conical distal 	$4,620.00	$5,928.00

stem 195mm, 235mm

ST011	Stryker Modular Hip System	Conical distal stems titanium, grit blasted	Length 155mm, Diameter 14 - 28mm	$4,620.00	$4,846.00

Mod2StA

Biomet Australia Pty Ltd

BI072	Modular Calcar Mallory Head Revision Hip System	Femoral stem, titanium, grit blast, non HA	14mm to 20mm	$4,620.00

Lima Orthopaedics Australia Pty Ltd

LC031	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	$4,620.00

Mathys Orthopaedics Pty Ltd

MA501	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	$4,620.00

Orthotech Pty Ltd

OH360	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	$4,620.00

Smith & Nephew Surgical Pty Ltd

SM017	Modular 'PLUS Femoral Stem	Titanium, grit blast, straight & curved, long	1 to 12 (all over 200mm)	$4,620.00

Prostheses List by Category, Groups and Sponsor	Page 505 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod3BN

Advanced Surgical Technologies

AD230	Profemur Total Hip System 	Titanium uncemented proximal body, grit blast 	X-small, Small, Standard 1, Standard 2, 	$3,860.00

Standard 3, Standard 4, Large

Mod3CoACalcar

Exactech Australia

EX018	Exactech M Series Total Hip System	Femoral Cone with calcar 	21-31mm	$4,360.00

Orthotech Pty Ltd

OH219	Exactech M Series Total Hip System	Femoral Cone with calcar 	21-31mm	$4,360.00

Mod3StA

Energy Orthopaedics Pty Ltd

EO010	MRP- Titan Stem	Modular Revision Titanium Stem, straight and curved, long 	200mm length  diameter 13-30, 260mm length	$4,620.00

and grit blast	 diameter 11-21, 320mm length diameter 11-

21mm

Mod3StN

Advanced Surgical Technologies

AD231	Profemur Total Hip System	Titanium tapered Splined, Straight or bowed Stem, grit 	Length 95 - 215mm, Diameter 10 - 22.5mm	$4,620.00

blasted

ST

Lima Orthopaedics Australia Pty Ltd

LC001	Lima RPS Femoral System	Cemented tumor Stem	130, 165, 200mm	$7,176.00

Group 08b - Uncemented, Grit Blast, HA, long length, modularity.

Mod2StA

Johnson & Johnson Medical Pty Ltd

DP009	Reef Hip Femoral Stem	Titanium modular femoral stem with optional distal locking, 	Length 225 - 375mm	$5,020.00

grit blast and full HA coating

Mod3A

Corin Australia Pty Ltd

CR113	Extreme Hip System Femoral Stem	Stem component of modular femoral stem, titanium, HA, 	4 lengths - 250 to 400mm, 6 diameters	$4,582.00

with distal screw holes

Prostheses List by Category, Groups and Sponsor	Page 506 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod3SpN

Advanced Surgical Technologies

AD320	Profemur Total Hip System	Revision Hip Proximal Body Extension Piece, Titanium	L52 x D21mm; 	$2,615.00

Mod3StA

Link Orthopaedics  Australia

LO138	Waldemar Link MP Reconstruction Hip Prosthesis	Stem, titanium, grit blast, HA	14 - 25mm x 210, 250, 290 & 330mm; 12 x 	$5,020.00

160, 180, 210, 250 - MP; 14 x 160, 180 -

MP; 16 x 160, 180 - MP; 18 x 160, 180 -

MP; 20 x 160, 180 - MP; 22.5 x 160, 180 -

MP; 25 x 160, 180 - MP

Group 08g - Uncemented, plasma, not HA, long length, modularity.

Biomet Australia Pty Ltd

BI119	Mallory Head Hip System	Femoral Stem, Calcar, Titanium	260mm, Size 9-19mm	$5,520.00

Mod2BA

Zimmer Pty Ltd

ZI049	'ZMR Taper System Modular Revision Hip 	Titanium body, plasma coating, non HA	A - F	$4,520.00

mod2st

Portland Orthopaedics (Aust) Pty Ltd

PD029	M-COR-R Revision Hip Stem System /M-COR-R 	Plasma sprayed, titanium distal stem, long lengths	10-23mm diameter, 200-275mm length	$5,520.00

Distal Stem Bowed P

Mod2StA

Biomet Australia Pty Ltd

BI118	Mallory Head Hip System	Femoral Stem,  Titanium, plasma, no HA	220mm, Size 9-19mm	$5,520.00

BI127	Modular Calcar Mallory Head Revision Hip System	Femoral Component, Distal. Titanium	170-300mm	$5,520.00

Global Orthopaedic Technology

GO020	UniSyn Hip Plasma Long Femoral Stem	Titanium, plasma spray, non HA, long, straight & bowed	>200mm	$5,520.00	$6,240.00

Prostheses List by Category, Groups and Sponsor	Page 507 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod3StN

Advanced Surgical Technologies

AD235	Profemur Total Hip System	Titanium tapered, Straight or bowed Stem, plasma coated 	Length 95 - 215mm, Diameter 10 - 22.5mm	$4,620.00

Group 08h - Uncemented, plasma, HA, long length, modularity.

Mod2B

Stryker Australia Pty Ltd

SK056	Stryker Modular Revision Hip System	Milled Proximal Body Titanium Plasma Spray, HA	Dia 19-25mm with 2 mill Depths; 27-29mm 	$4,520.00	$6,240.00

with 3 Mill Depths

SK060	Stryker Modular Revision Hip System	Broached Proximal Body Titanium Plasma Spray, HA	1-8	$4,520.00	$6,240.00

SK061	Stryker Modular Hip System	Cone Proximal Body Titanium Plasma Spray, HA	Dia 19-31mm, Heights +0,+10,+20,+30	$4,520.00	$6,240.00

Mod2BCalcar

Stryker Australia Pty Ltd

SK062	Stryker Modular Revision Hip System	Calcar Proximal Body Titanium Plasma Spray	Diameter 19-29mm, 3 Heights each	$5,020.00	$6,240.00

Mod2St

Stryker Australia Pty Ltd

SR045	Stryker Modular Revision Hip System	Modular Long Bowed Titanium Plasma HA Stem	Length 217mm, 267mm and 317mm. 	$5,920.00	$6,500.00

Diameter 11mm - 26mm

Mod2StA

Biomet Australia Pty Ltd

BI120	Mallory Head Hip System	Femoral Stem, titanium plasma HA  	220mm, Size 9-19mm	$5,920.00

BI121	Mallory Head Hip System	Femoral Stem, Calcar, HAP Coated, Titanium 	"250 - 260mm, Size 9-19mm"	$5,920.00

BI138	Mallory Head Hip System	Femoral Stem, Revision, HAP Coated, Titanium	300mm, size 7 to 19mm	$5,920.00

Group 08i - Uncemented, unpolished and polished, not HA, long length, modularity.

Johnson & Johnson Medical Pty Ltd

DY510	SROM  Femoral  Calcar Replacement Stem, long	Titanium, fluted, distal polished femoral long stem & neck, 	9 -21mm diameter, greater than 200mm length	$6,220.00

bowed and straight with Calcar Replacement

Prostheses List by Category, Groups and Sponsor	Page 508 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY511	SROM Femoral Stem Long	Titanium, fluted, distal polished femoral long stem & neck, 	9 -21mm diameter, greater than 200mm length	$5,720.00

bowed and straight

Mod2St

Stryker Australia Pty Ltd

SR046	Stryker Modular Revision Hip System	Modular Long Bowed Titanium Polished Fluted Stem	Length 217mm, 267mm and 317mm. Diamter	$5,520.00	$6,500.00

11mm-26mm

Mod2StA

Global Orthopaedic Technology

GO012	UniSyn Hip Fluted Long Femoral Stem	Titanium, highly polished, fluted, long, straight & bowed	>200mm	$5,520.00	$5,920.00

Mod2StCalcar

Smith & Nephew Surgical Pty Ltd

SN818	Emperion Revision Hip	Long Stem polished Modular Titanium Calcar Build-up, 	+10, +20mm	$5,788.00

Mod3StA

Exactech Australia

EX019	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 200mm	$5,520.00

EX020	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 250mm	$5,520.00

EX021	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 300mm	$5,520.00

Orthotech Pty Ltd

OH116	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 200mm	$5,520.00

OH117	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 250mm	$5,520.00

OH118	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 300mm	$5,520.00

Group 09 - Uncemented, Long stem, Special feature - Calcar Replacement

Johnson & Johnson Medical Pty Ltd

DP121	Solution Calcar Replacement Femoral Stem	CoCr calcar replacement stem, uncemented, beaded 	Sizes 7-9inch (175-225mm)	$6,900.00

(Porocoat)

Smith & Nephew Surgical Pty Ltd

SN271	Echelon	Cobal Chrome, beaded, HA, long with Calcar	Left/Right, 15 and 30mm,  Sizes 11-22	$6,900.00	$7,107.00

Prostheses List by Category, Groups and Sponsor	Page 509 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

ST589	Osteonics hip prostheses	Restoration cacar replacement stem 15mm  titanium - HA 	205mm length - stem sizes 8-14	$6,900.00

coated

Group 10 - Thrust Plates

Zimmer Pty Ltd

ZI349	Thrust Plate Prosthesis	Allopro Thrust Plate - Ti alloy	38 to 44mm	$1,773.00

ZI350	Thrust Plate Prosthesis	Allopro Lateral Plate - Ti alloy	Std & Long (15 & 25 deg)	$1,450.00

ZI351	Thrust Plate Prosthesis	Allopro Threaded bolt - CoCr alloy	70 to 89mm	$1,177.00

ZI352	Thrust Plate Prosthesis	Allopro Cortical Screw - SS	36, 60mm	$225.00

Group 11 - Monoblock Hemis

B Braun Australia Pty Ltd

BB047	Downs Austin-Moore Hip	Stem	39-54mm	$615.00

BB048	Downs Thompson Stem	Stem	38-55mm	$615.00

Biomet Australia Pty Ltd

BI060	Austin Moore Self Locking Hip Prosthesis System	Straight Standard Femoral Prostheses, Titanium	38-55mm	$615.00

BI062	FR Thompson Hip Prosthesis System	Modular Curved Femoral Stem, Titanium.	38mm - 55mm 	$615.00

BI077	Austin Moore Self Locking Hip Prosthesis System	Femoral Component, Long Stem, Titanium	38 to 56mm	$615.00

Johnson & Johnson Medical Pty Ltd

DP167	Thompson Hip	Stainless steel (Ortron 90), Thompson unipolar monoblock 	head size 40-54	$615.00

femoral component

DP168	Austin Moore Hip Prosthesis	Stainless steel (Ortron 90), AMP unipolar monoblock 	Head size 38-60mm	$615.00

femoral component

Orthotech Pty Ltd

OH285	JRI Austin Moore Total Hip System	Cementless femoral stem	Head sizes range from 39mm - 56mm	$615.00

OH299	JRI Total Hip System	JRI Austin Moore Standard Stems Hemiarthroplasty. 	Head Sizes range from 39mm - 56mm	$615.00

These prusct has an all-in-one head and stem

Prostheses List by Category, Groups and Sponsor	Page 510 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM037	Fracture Head Unipolar Femoral Head	Stainless Steel or CoCr	38-60 S/M	$615.00

SN277	Endoprosthesis	CoCr	38 - 54mm	$615.00

Stryker Australia Pty Ltd

HW025	Austin Moore Endoprosthesis	Long Stem - Vitallium cobalt chrome 	Head size 38 to 63	$615.00	$800.00

HW026	Austin Moore Endoprosthesis	Standard Stem - Vitallium	105-165mm length, Head size: 38 to 57	$615.00

Zimmer Pty Ltd

ZI008	Zimmer Austin Moore 	Stainless Steel	Sizes 38 - 60	$615.00	$700.00

SCP

Stryker Australia Pty Ltd

SK196	Exeter Hip System - ETS (endoprosthesis trauma stem)	Orthinox Stainless Steel Endoprosthesis unipolar monoblock	40mm Offset body with monoblock head sizes	$1,500.00

38mm, 40mm, 41mm, 42mm, 43mm, 44mm,

45mm, 46mm, 47mm, 48mm, 49mm, 50mm,

52mm, 54mm, 56mm

Group 12 - Femoral Neck

Advanced Surgical Technologies

AD236	Profemur Total Hip System	Titanium Femoral Necks	Length 27 - 38.5mm; Neutral to Ante/Retro - 	$1,227.00

Varus Valgus 2

AD270	SLR Biploar Acetabular Shell	Cast Cobalt Chrome Alloy	38mm - 65mm in millimetre increments	$1,248.00

AD271	SLR Bipolar Acetabular Liners	UHMWPE	22mm - 32mm ID, ranging from 38mm to 	$458.00

65mm

B Braun Australia Pty Ltd

BB249	Bipolar Head	Bipolar shell plus liner	38 - 60mm	$1,300.00

BB296	Metha - Modular neck adaptors	Modular neck adaptors made from CoCr  	CCD - 130°, 135 °, 140°; Offset  - 0mm, -	$1,227.00

5mm ,+5mm; Version - 7.5° left ante/right

retro, 0 °, 7.5 ° left retro/right ante

Biomet Australia Pty Ltd

BI096	Tripolar Acetabular Cup Series	Ringloc Series shell, UHMWPE liner and Chrome Cobalt 	24-28mm	$3,346.00

head

Prostheses List by Category, Groups and Sponsor	Page 511 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI129	Mallory Head Hip System	Acetabular shell, UHMWPE	40-80mm	$1,872.00

Corin Australia Pty Ltd

CR101	Modular Neck for Acor & Integrale Femoral Stems	Titanium neck, with varying alignments & tapers	4 sizes	$1,227.00

ESKA Australia

EK015	ESKA Bipolar Femoral Head	CoCr, UHMWPE with inner femoral head included 	various diameters	$1,248.00

EK034	Adapter Femoral Neck	CoCr, varying versions & offsets	One Size	$1,227.00

Finsbury Orthopaedics Australia Pty Ltd

FI042	Modula SC Neck	The complete series of MODULA SC necks, all patented, 	OX, OY, OZ, OA, OB, OC, 9X, 9Y, 9Z, 	$1,227.00

consists of 15 sizes and makes it possible to optimise the 	9A, 9B, 9C, 9AA, 9BB, 9CC

reciprocal position of the stem and neck cup on the basis of

the articular needs of the patient, by restoring the

physiological off-set and le

Global Manufacturing Technology Pty Ltd

GM021	Classic Marathon Bipolar Head	CoCr, Poly Liner	40mm to 58mm	$1,248.00

Global Orthopaedic Technology

GO139	R120 Femoral Neck	CoCr, varying offsets & versions	32-38mm length, varying degrees	$1,227.00	$3,000.00

Johnson & Johnson Medical Pty Ltd

DP171	Hastings Bipolar Prosthesis	Bipolar femoral head, CoCr with fixed UHMWPE insert	Size 36 - 56	$857.00

DP188	Self Centering Bipolar Head	Bipolar femoral head, CoCr with UHMWPE insert	28mm inner diameter, 39-65mm outer 	$1,504.00

diameter

Lifehealthcare Pty Ltd

LH064	Groupe Lepine	Bipolar shell and UHMPE liner	42 - 60mm in 1mm increments	$727.00

LH184	Modular U Necks	Cobalt chrome	Standard, varus, valgus, antiverted right, 	$1,227.00

antiverted left

Lima Orthopaedics Australia Pty Ltd

LC004	Lima F2L modular neck 	Titanium	Short & Long (Straight & Angled)	$1,227.00	$1,250.00

LC014	Sam-Fit modular neck	Modular neck	S1-S6, L1-L6	$1,227.00

LC019	Lima bipolar Total Hip Replacement System	Bipolar shell, inset and head 	41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 51, 	$1,872.00

52, 53, 54, 55, 56, 57mm

LC029	H-Max Femoral neck	Modular neck	1-6	$1,227.00

Prostheses List by Category, Groups and Sponsor	Page 512 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Link Orthopaedics  Australia

LO036	Vario bipolar Cup	Shell with unmodified polyethylene plus locking ring 	44-65mm	$1,456.00

Mathys Orthopaedics Pty Ltd

MA025	Mathys Bipolar Femoral Head	Stainless steel with fixed UHMWPE insert	28mm Inner diameter, 42-58mm outer 	$1,872.00

diameter

Medacta Australia Pty Ltd

MU021	Medacta Bipolar Head	Stainless Steel, with UHMWPE insert	For ballhead diameter 28mm- 	$1,248.00	$1,872.00

42,44,46,48,50,52,54,56 mm.  For ballhead

diameter 22.2mm -

39,40,41,42,43,44,45,46,48,50,52mm

Orthotech Pty Ltd

OH103	Lima bipolar Total Hip Replacement System	Bipolar shell, inset and head 	41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 51, 	$1,872.00

52, 53, 54, 55, 56, 57mm

OH349	H-Max Femoral neck	Modular neck	1-6	$1,227.00

Smith & Nephew Surgical Pty Ltd

SM038	PLUS Bipolar Head	Bipolar Head, CoCr UHMWPE insert with insertable 	39mm-60mm	$1,579.00

locking ring

SN267	Tandem/Convene	Shell/Liner	22 - 64mm	$1,248.00

SN898	MDF Revision System	Modular Neck - CoCr highly polished trapezoidal for 	24mm - 36.5mm	$1,227.00	$2,615.00

MDF stem/MIS stem multiple options of version height and

neck length

Stryker Australia Pty Ltd

SK444	ABG II Modular Hip System	Neck for the ABGII  stem  	Long & Short	$1,227.00

SK446	Rejuvinate SPT Femoral Hip System	Neck for Rejuvinate SPT Stem 	30-38mm	$1,227.00

Zimmer Pty Ltd

ZI286	Zimmer Acetabular Cup	Multipolar (Bipolar) Cup-Co Chr W/WHMWPE	Outer Diameter 38 - 72mm, Inner Diameter 	$804.00

22,28, or 32mm

ZI553	M/L Taper Kinectiv Neck	Neck component for M/L taper stem	size K, S, A, E, P, X, B, G, R, C, J, D, K1, 	$1,227.00

S1, AA, E1, P1, X1, K2, E2, BB, G1, R1

,S2, P2, G2, CC, J1, X2, R2, J2, DD

Prostheses List by Category, Groups and Sponsor	Page 513 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mod3zA

Exactech Australia

EX024	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	$1,727.00

Orthotech Pty Ltd

OH061	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	$1,727.00

SI

Stryker Australia Pty Ltd

ST566	Osteonics hip prostheses	Bipolar shell and polyethylene insert (factory Assembled)	ID 22, 26, 28, 32mm dia 	$1,579.00

Z

Corin Australia Pty Ltd

CR114	Extreme Hip System Extended Neck	Femoral neck with extension for locking screw for stem	4 sizes	$1,727.00

Global Manufacturing Technology Pty Ltd

GM091	Apex Global & K2 Femoral Neck	Titanium with lateral extension for stem connection	25mm - 35mm to 35mm - 50mm	$1,727.00	$3,200.00

Global Orthopaedic Technology

GO014	UniSyn Hip Complex Neck	Titanium, with lateral extension for stem connection, 	30-36mm non calcar, 45-55mm for calcar	$1,727.00	$3,520.00

includes calcar & non calcar replacement necks, separate

locking bolt

Portland Orthopaedics (Aust) Pty Ltd

PD005	Margron DTC Hip Replacement	Femoral Modular Neck	Y, Z, AZ, A, B, C, BA, CA, CB, B+4, C+6, 	$1,727.00

CB+6; 31mm to 52mm lateral offset; 23mm

to 35mm vertical height

PD022	M-COR Femoral Neck	Titanium Neck for M-COR System with lateral extension 	31mm to 47mm lateral offset, 23mm to 33mm	$1,727.00

for stem connection. Contains threaded sealing plug.  	 vertical height, 3 lengths

Prostheses List by Category, Groups and Sponsor	Page 514 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Hip B - Femoral Heads

Global Manufacturing Technology Pty Ltd

GM144	SMR Femoral Stem	SMR Distal Component <200mm	SMR Distal Component 14 x 160mm, SMR 	$3,120.00	$4,784.00

Distal Component 16 x 160mm, SMR Distal

Component 17 x 160mm, SMR Distal

Component 18 x 160mm, SMR Distal

Component 19 x 160mm, SMR Distal

Component 20 x 160mm, SMR Distal

Component  22 x 160mm, SMR Distal

Component 14 x 200m, SMR Distal

Component 16 x 200m SMR Distal

Component 18 x 200mm, SMR Distal

Component 20 x 200mm, SMR Distal

Component 22 x 200mm

Group 13a - Conventional Femoral Head, ≤32mm, Stainless steel

Corin Australia Pty Ltd

CR045	Femoral Head	Stainless Steel Femoral Head	Dia 22, 26, 28 & 32mm, Short, Std, Long & 	$800.00

Extra Long Neck Length

CR143	metallic femoral head	M30NW femoral head with 10/12 taper	28mm-32mm with short, medium or long neck	$800.00

Lifehealthcare Pty Ltd

LH065	Groupe Lepine Total Hip Replacement	Stainless Steel Head	.-5mm/0mm/+5mm/ +10mm	$800.00

Mathys Orthopaedics Pty Ltd

MA028	Mathys Stainless Steel Femoral Heads	Stainless Steel, 	22-32mm	$800.00

Smith & Nephew Surgical Pty Ltd

SN697	Femoral Head	Stainless steel	22-32mm,+0-+16mm	$800.00

Stryker Australia Pty Ltd

HW038	V40 Orthinox Head	Stainless Steel	22 - 28mm dia	$800.00

Prostheses List by Category, Groups and Sponsor	Page 515 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI052	Femoral Head	Zimaloy - Stainless Steel	22mm, 28mm, 32mm	$800.00

Group 13b - Conventional Femoral Head, ≤32mm, Cobalt Chrome

Advanced Surgical Design & Manufacture Ltd

AE105	FMP Acetabular System - CoCro Femoral Heads	CoCro femoral heads in 22mm and 32mm diameters to fit 	22mm in +0,+4,+8mm and 32mm in -4.0, +4,	$800.00

with FMP acetabular liners and FMP acetabular shells	 +8, +12mm, diameters

Advanced Surgical Technologies

AD269	Femoral Head	Femoral Head Cast Cobalt Chrome Alloy	22.5mm - 32mm Femoral Head and neck 	$800.00

ranging from -3.5mm to +7mm

Austofix

AX047	Hyperion Cobalt Chrome Femoral Head	Cobalt Chrome, 12/14 Taper	Sizes 22, 28 and 32 mm	$800.00

B Braun Australia Pty Ltd

BB246	Metal Head	Isodur CoCr Femoral Head	22.5mm, 26mm, 28mm, 32mm	$800.00

Biomet Australia Pty Ltd

BI094	Mallory Head Hip System	Femoral Head, Offset, Chrome Cobalt	28,32mm	$800.00	$1,273.00

BI973	Modular Head Implants	Femoral Modular Head	22 - 32mm diameter, - 6 to =12mm neck, 	$800.00	$988.00

collared, no collar

Corin Australia Pty Ltd

CR029	CoCr Femoral Head	CoCr femoral head 	22,26,28,32mm with 3 choices of taper	$800.00

CR135	METS CoCr Femoral Head	CoCr	28mm-32mm	$800.00

Energy Orthopaedics Pty Ltd

EO028	ESOP HA	Femoral Head CoCr	22.2 -32mm	$800.00

EO050	Peter Brehm CoCr femoral heads	CoCr femoral Ball	Diameter 28 & 32, small, medium and large	$800.00

ESKA Australia

EK060	ESKA Metal Femoral Head	CoCr	28mm - 32mm	$800.00	$850.00

Exactech Australia

EX022	Exactech Femoral Head 	Cobalt Chrome Head	-2 to -5mm, +0 to 10mm	$800.00	$1,248.00

Finsbury Orthopaedics Australia Pty Ltd

FI016	Finsbury Modular Heads	Cobalt Chromium	Diameter 22-26-28-32mm	$800.00

Prostheses List by Category, Groups and Sponsor	Page 516 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

FI040	Adler CoCr Head	Cobolt Chrome Femoral Heads for Adler Stems 22,28mm 	Short, Medium, Long in 22 and 28 mm	$800.00

OD

Global Manufacturing Technology Pty Ltd

GM056	SMR Femoral Head	CoCr	22 to 40mm	$800.00	$1,144.00

GM092	Apex Global Femoral Head	CoCr	28mm to 40mm	$800.00	$1,100.00

GM146	BioBall Femoral Head	Femoral Head Vivium < 32mm	28mm,  32mm	$800.00	$1,144.00

Global Orthopaedic Technology

GO009	Consensus Femoral Head	CoCr	22-32mm	$800.00	$1,144.00

GO174	APEX K1 Hip System	APEX/K1 femoral heads, Cobalt Chrome	28mm, 32mm Diameters size range -3.5mm to	$800.00

+7.0mm inclusive

GO186	R120 Metal Femoral Head	R120 Metal Femoral Head <32mm	28mm, 32mm	$800.00	$1,100.00

Johnson & Johnson Medical Pty Ltd

DP124	DePuy Femoral Head	CoCr Femoral Head Various Tapers & Neck Lengths	22-32 mm 	$800.00

Lima Orthopaedics Australia Pty Ltd

LC032	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL, XXL	$800.00	$845.00

Link Orthopaedics  Australia

LO022	Link Prosthesis Femoral Head	Prosthesis Head "B" CoCrMo	Short/medium-short/medium/Long	$800.00

Mathys Orthopaedics Pty Ltd

MA469	Mathys CoCr Femoral Head 	Hip Prosthesis Femoral Head CoCrMo ≤32mm	28 mm & 32mm, (S,M,L,XL,XXL)	$800.00

Medacta Australia Pty Ltd

MU005	Quadra Hip Femoral Head	CoCr, 	Dia 28mm, (S to XXL) or 32mm (S to XXL)	$800.00

Orthotech Pty Ltd

OH062	Exactech Femoral Head 	Cobalt Chrome Head	-2 to -5mm, +0 to 10mm	$800.00	$1,248.00

OH293	JRI Femoral Head	Cobalt Chrome Femoral; Heads	28mm, and 32mm head sizes	$800.00	$950.00

OH361	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL, XXL	$800.00	$845.00

Portland Orthopaedics (Aust) Pty Ltd

PD033	Femoral Head- Cobalt Chrome	CoCr Femoral head	28mm, 32mm	$800.00

Smith & Nephew Surgical Pty Ltd

SM055	Universal Femoral Head	Chrome Cobalt	=< 32mm	$800.00

Prostheses List by Category, Groups and Sponsor	Page 517 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN280	Femoral Head	CoCr	<=32mm	$800.00

Stryker Australia Pty Ltd

HW032	Stryker CoCr Femoral Head	22, 26, 28, 30, 32mm	$800.00

Zimmer Pty Ltd

ZI051	Femoral Head	Zimaloy - Co Cr	22mm, 28mm, 32mm	$800.00

ZI358	Durasul Ballhead for Inserts	CoCr femoral head	22, 28, 32	$800.00

ZI364	Natural Hip System	CoCr femoral head	22 to 32mm	$800.00

ZI380	Femoral Head	Head - Metal (Zweymuller Allopro) - CoCr	22mm, 28mm, 32mm	$800.00

E

Zimmer Pty Ltd

ZI362	Natural Hip System	Eccentric Ball Heads -  CoCr alloy	28/14 (S,M,L)	$1,000.00

E

ESKA Australia

EK059	ESKA Eccentric Metal Femoral Head	CoCr	28mm - 32mm	$1,000.00

Group 13c - Conventional Femoral Head, ≤32mm, Alumina

Advanced Surgical Design & Manufacture Ltd

AE121	Keramos Acetabular System - Ceramic Heads	Alumina ceramic femoral heads in 28mm and 32mm 	28 & 32 mm diameters	$2,000.00

diameters, to fit with Keramos ceramic acetabular liners

and Keramos acetabular shells

Advanced Surgical Technologies

AD122	Transcend/Lineage Articulation System	Head ceramic	28mm, 32mm, 3 lengths	$2,000.00

B Braun Australia Pty Ltd

BB250	Ceramic Head	Biolox Ceramic Head	Size 26 - 32mm diameters, short, standard 	$2,000.00

and long

Biomet Australia Pty Ltd

BI058	Modular Ceramic System	Ceramic Head, Aluminium Alloy, biolox forte	28-32mm -6mm to +12mm	$2,000.00

Corin Australia Pty Ltd

CR065	Ball Heads 12 - 14 Taper (Alumina)	Ceramic femoral head, bilox forte	≤32mm	$2,000.00

Energy Orthopaedics Pty Ltd

EO003	Biolox - Forte Ceramic Head	Biolox Ceramic Head	Diameter 28-32, S,M,L neck length	$2,000.00

Prostheses List by Category, Groups and Sponsor	Page 518 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EO029	ESOP HA	Femoral Head Alumina Ceramic	28 and 32mm Diameter	$2,000.00

ESKA Australia

EK009	Eska Ceramic Femoral Head	Ceramic, biolox forte	28-32mm	$2,000.00

Exactech Australia

EX023	Exactech Femoral Head 	Ceramic/Femoral Head, Biolox Forte	-2 to -5mm, +0 to +10mm	$2,000.00	$2,100.00

Finsbury Orthopaedics Australia Pty Ltd

FI017	Finsbury Modular Heads	Ceramic	Diameter 22-26-28-32mm	$2,000.00

FI033	Delta modular head	Delta ceramic modular head	32mm	$2,000.00	$2,400.00

FI037	Adler Ceramic Head <32	Ceramic Femoral Heads for Adler Stems.  Biolox Forte 	Short, Medium, Long in 28 and 32mm	$2,000.00

and Delta. 28,32mmOD

Global Manufacturing Technology Pty Ltd

GM057	SMR Ceramic Femoral Head	Ceramic, Biolox Forte	28 to 36mm	$2,000.00	$2,055.00

GM093	Apex Global Ceramic Femoral Head	Ceramic, Biolox Forte	28mm to 36mm	$2,000.00

GM136	Edinburgh Ceramic Femoral Head	Ceramic, Biolox Forte	28mm Small, Medium, Long                           	$2,000.00

32mm Small, Medium, Long

Global Orthopaedic Technology

GO010	Consensus Femoral Head	Ceramic, biolox forte	28-32mm	$2,000.00	$2,080.00

GO146	Keramos Ceramic Femoral Head	Ceramic, biolox forte	28 to 32mm	$2,000.00

GO173	APEX K1 Hip system	APEX/K1 Femoral heads, Alumina Ceramic	28mm, 32mm and 36mm diameter size range 	$2,000.00

-3.mm to +4.0mm inclusive

GO188	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head <32mm	28mm - 3.5mm to +3.5mm                            	$2,000.00

32mm - 4.0mm to +4.0mm

Johnson & Johnson Medical Pty Ltd

JJ751	DePuy Ceramic Heads	Ceramic (Biolox Forte) Femoral head various tapers & 	≤32mm	$2,000.00

neck lengths

Lifehealthcare Pty Ltd

LH220	10/12/14 Alumina Head BOTA	Alumina Head biolox forte	28mm (-3.5mm, 0mm, +3.5mm); 32mm (-	$2,000.00

4mm, 0mm, +4mm)

Lima Orthopaedics Australia Pty Ltd

LC034	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL	$2,000.00	$2,100.00

Prostheses List by Category, Groups and Sponsor	Page 519 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Link Orthopaedics  Australia

LO023	Link Prosthesis Femoral  Head	Prosthesis Head "A" Biolox forte Ceramic	Short/medium - short /medium	$2,000.00

Mathys Orthopaedics Pty Ltd

MA020	Mathys Ceramic Femoral Head	Ceramic, Bionit (alumina)	diameter 28-32mm	$2,000.00

Medacta Australia Pty Ltd

MU006	Quadra Hip Ceramic Femoral Head	Ceramic, Biolox Forte	Dia 28mm (S,M,L) 32mm (S,M,L)	$2,000.00

Orthotech Pty Ltd

OH137	Exactech Femoral Head 	Ceramic/Femoral Head, Biolox Forte	-2 to -5mm, +0 to +10mm	$2,000.00	$2,100.00

OH292	JRI Ceramic femoral Head 	Total Hip Replacement (THR) Ceramic Femoral Heads, 	12 / 14 Taper, Biolox Delta Ceramic head 	$2,000.00	$2,080.00

Biolox Delta Ceramic, and Alumina Oxide	sizes 28mm, 32mm. Alumina Oxide head sizes

28mm

OH363	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL	$2,000.00	$2,100.00

Portland Orthopaedics (Aust) Pty Ltd

PD027	Ceramic Femoral Head	Ceramic Femoral Head - Biolox Forte	28mm, 32mm	$2,000.00

Smith & Nephew Surgical Pty Ltd

SM035	Universal Ceramic Femoral Head	Ceramic, Biolox Forte	S,M,L - 28mm/32mm	$2,000.00

SN299	Femoral Head	Ceramic, AlO3	<=32mm	$2,000.00

Stryker Australia Pty Ltd

HW017	Stryker Biolox Forte Alumina Femoral Head	28, 32mm	$2,000.00

Zimmer Pty Ltd

ZI055	Ceramic Femoral Head	Ceramic Head 12/14 Taper, Biolox Forte	28 - 36mm	$2,000.00	$2,150.00

ZI346	Ceramic Femoral head for hip prosthesis 	Femoral Head - Biolox Ceramic	28 to 32mm	$2,000.00

ZI355	Cerasul - Ceramic	Ceramic Femoral Head	28mm 	$2,000.00

ZI381	Ceramic Head - Sulox	Head - Ceramic	22 to 32mm	$2,000.00

Group 13f - Conventional Femoral Head, ≤32mm, Other

Advanced Surgical Technologies

AD340	Delta Modular Heads	Biolox Delta Heads	28mm, 32mm in -3.5mm, 0mm, + 3.5 neck 	$2,100.00

lengths

Corin Australia Pty Ltd

CR154	Ceramic Modular Head	Biolox Delta	28-40mm	$2,100.00

Prostheses List by Category, Groups and Sponsor	Page 520 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM131	Biolox Delta Ceramic Femoral Heads	Biolox Delta Ceramic Femoral Heads 28mm 32mm	Biolox Delta Femoral Head 28mm - -3.5mm 	$2,100.00

to +3.5mm and Biolox Delta Femoral Head

32mm - 3.5mm to +7mm

Johnson & Johnson Medical Pty Ltd

JJ752	DePuy Delta Heads	Delta femoral head various tapers & neck lengths	≤32mm	$2,100.00	$2,300.00

Mathys Orthopaedics Pty Ltd

MA482	Ceramys Ceramic Femoral Head	Ceramic, zirconia alumina combination 	28 L,  28 M, 28 S, 32 L, 32 M, 32 S	$2,100.00	$2,704.00

Portland Orthopaedics (Aust) Pty Ltd

PD036	Ceramic Femoral Head	Ceramic Femoral Head - Delta	28mm, 32mm	$2,100.00

Smith & Nephew Surgical Pty Ltd

SM144	Universal Delta Ceramic Femoral Head	Delta Ceramic	<=32 - S, M, L, XL,XXL	$2,100.00

SM165	Revision Delta Ceramic Femoral Head	Biolox Option Head	≤32mm	$2,100.00	To be used with Billing Code PL118

SM167	Revision Delta Ceramic Femoral Head	Biolox Option Head	>32mm	$2,300.00	To be used with Billing Code PL118

SN687	Femoral Head	12/14, 14/16 Taper, Oxinium	22 - 32mm, -3 - +16mm	$2,100.00	$2,410.00

Stryker Australia Pty Ltd

SR023	Stryker Revision Femoral Head, Biolox Forte Alumina	With pre assembled titanium sleeve	28, 32mm	$2,200.00

SR026	Stryker CoCr Femoral Head	Cobal Chrome with LFIT Treatment	22-32mm	$2,100.00

SR028	Stryker Delta Ceramic Heads	Femoral Head - Delta Ceramic 	<32mm	$2,100.00

Zimmer Pty Ltd

ZI538	Ceramic primary & revision femoral head	Biolox Delta Ceramic	28 & 32mm	$2,100.00	$2,175.00

Sl

Orthotech Pty Ltd

OH294	JRI Total Hip System	Ceramic femoral head with sleeve 	28, 32, 36mm	$2,000.00	$2,100.00

Sv

Medacta Australia Pty Ltd

MU079	BIOLOX OPTION	Ceramic Biolox Delta with Titanium sleeve	Diameter 28 S.M.L.XL, diameter 32 	$2,300.00	$2,370.00

S,M,L,XL

Prostheses List by Category, Groups and Sponsor	Page 521 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sv Sleeve

Mathys Orthopaedics Pty Ltd

MA484	Ceramys Ceramic Revision Femoral Head	Ceramic, zirconia alumina combination, supplied with 	28 L, 28 M, 28 S, 28 XL, 32 L, 32 M, 32 S, 	$2,100.00	$2,704.00

titanium taper sleeve	32 XL, 28, 32

Group 13g - Conventional Femoral Head, ≤32mm, Zirconium

Biomet Australia Pty Ltd

BI927	Modular Ceramic System	Ceramic Head, Zirconium	28-32mm -6mm to +12mm	$1,900.00

Group 14a - Conventional Femoral Head, >32mm, Stainless steel

Global Manufacturing Technology Pty Ltd

GM137	Edinburgh Head	Femoral Head Stainless Steel	36mm, -4.0mm to +8.00mm	$950.00

GM145	BioBall Femoral Head	Femoral Head Vivium > 32mm	36mm to 58mm	$811.00	$1,144.00

Mathys Orthopaedics Pty Ltd

MA467	Mathys Unipolar Femoral Head	Stainless steel, unipolar head	42 mm - 58mm	$811.00

Medacta Australia Pty Ltd

MU018	Medacta Unipolar Head	Stainless steel, solid head	Size 40-56mm with variable offsets	$811.00

Smith & Nephew Surgical Pty Ltd

SN813	Femoral Head	Stainless steel	>32mm,+0-+16mm	$811.00

Stryker Australia Pty Ltd

HW395	V40 Orthinox Head	Stainless Steel	>32mm	$811.00

Zimmer Pty Ltd

ZI498	Femoral Head	Zimaloy - Stainless Steel	36mm, 40mm	$811.00

Group 14b - Conventional Femoral Head, >32mm, Cobalt Chrome

Advanced Surgical Design & Manufacture Ltd

AE124	Foundation Unipolar System - CoCr Unipolar Femoral 	CoCr unipolar femoral heads, 40mm to 64mm. Unipolar 	40mm to 64mm in 2mm increments	$950.00

Heads	Femoral Heads

Biomet Australia Pty Ltd

BI061	Austin Moore Self Locking Hip Prosthesis System	Modular Femoral Stem and Modular Head, Titanium.	38-61mm Head, Std or Narrow stem	$950.00

Prostheses List by Category, Groups and Sponsor	Page 522 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI875	Endo II Head	Modular Head - CoCr	41 mm through 61mm	$950.00	Used with BI876

BI877	Freedom 36 mm Modular Head	Modular Head	36mm,  -6mm to +9mm	$950.00	$988.00

BI974	Modular Head Implants	Femoral Modular Head	36mm diameter , - 6 to + 12mm neck, 	$950.00	$1,100.00

collared, no collar

Corin Australia Pty Ltd

CR084	Unipolar Modular Head, CoCr	CoCr Modular Head	38 - 60mm, short, standard and long necks	$950.00

Energy Orthopaedics Pty Ltd

EO047	Pharo	Cephalic Head, CoCr	41-59mm	$950.00

Exactech Australia

EX003	L-Series Unipolar Head	L-Series unipolar is a modular endoprosthesis consisting of 	unipolar head: 42mm, 43mm, 44mm, 45mm, 	$950.00

a truncated spherical head and interchangeable neck 	46mm, 47mm, 48mm, 49mm, 50mm, 51mm,

sleeves. The device is fully machined from cobalt chrome 	52mm, 53mm, 54mm, 55mm     taper sleeve:

conforming to ASTMF 1537-94	12/14-3.5mm, 12/14 +0mm, 12/14 +3.5mm,

12/14 +7mm, 12/14 +10mm

Global Manufacturing Technology Pty Ltd

GM066	BioBall Femoral Head	Femoral Head Vivium > 32mm	36mm to 58mm	$950.00	$1,144.00

GM138	Edinburgh Femoral Head CoCr	Femoral Head CoCr 28mm to 32mm	Small, Medium, Long	$800.00	$936.00

Global Orthopaedic Technology

GO178	APEX K1 Hip System	APEX/K1 Femoral heads, Cobalt Chrome	36mm Diameter size range - 3.5mm to 	$950.00	$988.00

+7.0mm inclusive

GO185	R120 Metal Femoral Head	R120 Metal Femoral Head >32mm	36mm	$950.00	$1,100.00

Johnson & Johnson Medical Pty Ltd

DY026	Elite Unipolar Femoral Head	CoCr unipolar head	42 - 60 mm	$950.00

DY402	Cathcart Unipolar Head	CoCr Unipolar Femoral head. Needs to be used with 	41 to 60mm	$950.00

DY403 Head Taper insert

Lima Orthopaedics Australia Pty Ltd

LC033	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL	$950.00	$1,000.00

Orthotech Pty Ltd

OH362	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL	$950.00	$1,000.00

Portland Orthopaedics (Aust) Pty Ltd

PD026	Femoral Head - Cobalt Chrome	CoCr femoral head	36mm to 44mm	$950.00

Prostheses List by Category, Groups and Sponsor	Page 523 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN308	Unipolar Head	Co Cr	12/14 42 - 61mm	$950.00	Used with SN307

SN809	Femoral head	CoCr	>32mm	$950.00

Stryker Australia Pty Ltd

ST570	UNITRAX	Vitallium alloy /CoCr	38-64mm OD 2mm increments	$950.00

Zimmer Pty Ltd

ZI054	Femoral Head	Cobal Chrome femoral Head	38 - 63mm	$950.00

ZI347	Femoral Head	CoCr femoral head	42 to 60 	$950.00

ZI359	Large Zimmer Femoral Heads	CoCr femoral head	34 - 38mm	$950.00

ZI499	Femoral Head	Zimaloy - Co Cr	36mm, 40mm	$950.00

ZI500	Femoral Head	Head - Metal (Zweymuller Allopro) - CoCr	36mm, 38mm	$950.00

Group 14c - Conventional Femoral Head, >32mm, Alumina

Advanced Surgical Technologies

AD290	Transcend/Lineage Articulation System	Head ceramic	36mm, 3 lengths	$1,889.00

B Braun Australia Pty Ltd

BB302	Ceramic Head	Biolox Ceramic Head	36mm	$2,055.00

Corin Australia Pty Ltd

CR097	Alumina Head	Ceramic femoral head, biolox forte	>32mm	$2,055.00

Finsbury Orthopaedics Australia Pty Ltd

FI041	Adler Ceramic Head >32	Ceramic Femoral Heads for Adler Stems. Biolox Forte and	Short, Medium, Long in 36 and 40mm	$2,055.00	$2,436.00

Delta. 36,40mm OD

Global Manufacturing Technology Pty Ltd

GM135	Edinburgh Ceramic Femoral Head	Ceramic, Biolox Forte	36mm, -4.0mm to +8.00mm	$2,055.00

GM139	Bio Ball Femoral Head Biolox Forte	BioBall Femoral Head Biolox Forte	36mm	$2,055.00

GM140	Bio Ball Femoral Head Biolox Forte	Bio Ball Femoral Head Biolox Forte	28mm,  32mm	$2,000.00

Global Orthopaedic Technology

GO179	APEX K1 Hip System	APEX/K1 Femoral heads, Alumina Ceramic	36mm Diameter size range - 3.mm to +4.0mm	$2,055.00

inclusive

GO187	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head > 32mm	36mm	$2,055.00

Prostheses List by Category, Groups and Sponsor	Page 524 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Lima Orthopaedics Australia Pty Ltd

LC035	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL	$2,055.00	$2,350.00

Mathys Orthopaedics Pty Ltd

MA468	Mathys Ceramic Large Femoral Head 	Ceramic, Bionit (alumina)	36mm (S,M,L,XL,XXL)	$2,055.00

MA470	Mathys Unipolar Ceramic Femoral Head	Ceramic, Bionit (alumina)	42-54mm	$2,055.00

Medacta Australia Pty Ltd

MU007	Quadra Hip Large Ceramic Femoral Head	Ceramic, Biolox Forte, larger	36mm (S,M,L)	$2,055.00

Orthotech Pty Ltd

OH300	JRI Total Hip System	Total Hip Replacement (THR) Ceramic Femoral Heads, 	12 / 14 Taper, Biolox Delta Ceramic head 	$2,055.00	$2,100.00

Biolox Delta Ceramic, and Alumina Oxide	sizes 36mm. Alumina Oxide head sizes 28mm

OH364	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL	$2,055.00	$2,350.00

Portland Orthopaedics (Aust) Pty Ltd

PD028	Ceramic Femoral Head	Ceramic Femoral Head	36 to 44mm	$2,055.00

Smith & Nephew Surgical Pty Ltd

SM094	Universal Ceramic Femoral Head	Ceramic Biolox Forte	>32mm	$2,055.00

SN811	Reflection	Head Ceramic, AlO3, Biolox Forte	>32mm	$2,055.00

Stryker Australia Pty Ltd

HW394	Stryker large ceramic femoral head 	Biolox Forte	36mm - 60mm	$2,055.00

SK404	Stryker large ceramic femoral head 	Alumina Femoral Head	38mm-60mm	$2,055.00

Group 14f - Conventional Femoral Head, >32mm, Other

Advanced Surgical Technologies

AD341	Delta Modular Heads	Biolox Delta Heads	36mm in -3.5mm, 0mm, +3.5 neck lengths	$2,300.00

ESKA Australia

EK036	ESKA Cera Metal Femoral Head	CoCr, with bonded ceramic (alumina) bearing surface, 	36-48mm	$2,300.00

large diameter

Finsbury Orthopaedics Australia Pty Ltd

FI034	Delta modular head	Delta ceramic modular head	36-40-44-48mm	$2,055.00	$2,800.00

Prostheses List by Category, Groups and Sponsor	Page 525 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM108	BioBall Delta Femoral Head	Femoral Head Biolox Delta	36mm, 38mm, 40mm, 44mm, 48mm	$2,300.00

GM132	Biolox Delta Ceramic Femoral Heads	Biolox Delta Femoral Head 36mm	Biolox Delta Femoral Head 36mm -4.0mm to 	$2,300.00

+8.0mm

Johnson & Johnson Medical Pty Ltd

DY464	DePuy Delta Ceramic Femoral Head	Ceramic delta >32mm	>32mm	$2,300.00

Lifehealthcare Pty Ltd

LH399	Delta Modular head	Biolox Delta ceramic femoral ball head	>36mm	$2,300.00

Mathys Orthopaedics Pty Ltd

MA483	Ceramys Large Ceramic Femoral Head	Ceramic, zirconia alumina combination, large diameters 	36 L, 36 M, 36 S	$2,300.00	$2,904.00

Portland Orthopaedics (Aust) Pty Ltd

PD035	Ceramic Femoral Head	Ceramic Femoral Head - Delta	36 to 44mm	$2,300.00

Smith & Nephew Surgical Pty Ltd

SM095	Universal Delta Ceramic Femoral Head	Delta Ceramic	>32mm	$2,300.00

SN812	Femoral Head	12/14, 14/16 Taper, Oxinium	>32mm, -3 - +16mm	$2,300.00	$2,509.00

Stryker Australia Pty Ltd

SK405	LFIT Femoral Heads	Femoral head with low friction ion treatment	36mm-72mm	$2,300.00

SR029	Stryker Large Femoral Head - Delta Ceramic 	Delta Ceramic 	36mm - 50mm	$2,300.00

Zimmer Pty Ltd

ZI539	Ceramic primary & revision femoral head	Biolox Delta Ceramic	36 - 40mm	$2,300.00	$2,500.00

Sv

Medacta Australia Pty Ltd

MU080	BIOLOX OPTION	Ceramic Biolox Delta with Titanium Sleeve	Diameter 36 S.M.L.XL	$2,500.00

Sv Sleeve

Mathys Orthopaedics Pty Ltd

MA485	Ceramys Large Ceramic Revision Femoral Head	Ceramic, zirconia alumina combination, large diameters, 	36 L, 36 M, 36 S, 36 XL, 36	$2,300.00	$2,904.00

supplied with titanium taper sleeve

Prostheses List by Category, Groups and Sponsor	Page 526 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 15 - All metal on metal heads

Advanced Surgical Design & Manufacture Ltd

AE104	FMP Acetabular System - Metal on Metal Heads	CoCro femoral heads in 28mm, 34mm and 38mm 	28mm and 38mm diameters	$2,400.00

diameters to fit with FMP metal on metal acetabular liners

and FMP Acetabular Shells.  The 34 mm and 38mm heads

need to be used in conjunction with Encore Unipolar

Sleeves, which provide -3.5mm, 0mm, +3.5mm, +7.0

Finsbury Orthopaedics Australia Pty Ltd

FI038	Adler Metal on Metal Head	Metal on Metal Articulating Femoral Heads for Adler 	Short, Medium, Long in 32,36 and 40 mm	$2,400.00

Stems 32,36,40mm OD

Global Orthopaedic Technology

GO132	FMP Femoral Head	CoCr, metal on metal	28 to 38mm	$2,400.00

Mathys Orthopaedics Pty Ltd

MA029	Metamys Metal on Metal Femoral Head	CoCr, metal on metal	28mm, 32mm, 36mm	$2,400.00

Medacta Australia Pty Ltd

MU056	ROMAX Resurfacing System  - Large Femoral Head 	Adaptor necessary to combine the ROMAX large femoral 	Adaptor 12/14: size S, size M, size L and size 	$520.00

Adaptor	head with a MEDACTA hip stem	XL

Zimmer Pty Ltd

ZI382	Metasul Femoral Head	Cobalt Chrome metal on metal 	28 to 40mm alloy	$2,400.00

ZI472	Durom (Metasul) Resurfacing System - Ballhead	Forged CoCr femoral head	A1 to L1	$2,400.00

Group 15a - ≤ 32mm

Advanced Surgical Technologies

AD114	Transcend/Lineage Articulation System	Metal femoral head CoCr	28 and 32mm, 4 lengths	$2,400.00

AD308	Transcend/Lineage Articulation System	Metal femoral head CoCr	32mm, 4 lengths	$1,248.00

Biomet Australia Pty Ltd

BI045	Scientific Hip Prostheses System	Head, Chrome Cobalt, Metal on metal	28mm, -6mm to +12mm neck	$2,400.00

BI056	Exceed M2A Femoral Head 	Head, Chrome Cobalt, Metal on metal	28mm, -6mm to +12mm neck	$2,400.00

BI068	Stanmore Hip System	Head, Chrome Cobalt, metal on metal 	28mm, -6mm to +12mm neck	$2,400.00

Prostheses List by Category, Groups and Sponsor	Page 527 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI070	Biomet Taperloc Hip System	Head, Chrome Cobalt, metal on metal 	28mm or 32mm, -6mm to +12mm neck	$2,400.00

BI944	M2a 38 Femoral Head	Metal on Metal Femoral Head, Cobalt Chrome	38mm	$2,400.00

Corin Australia Pty Ltd

CR020	Metalok Femoral Head	Metal on metal, CoCr	Head 28mm (short/med/long neck)	$2,400.00

Group 15b - > 32mm

Advanced Surgical Technologies

AD212	CONSERVE Total hip head	CoCr SLT Taper Femoral Head	Sizes 38mm-54mm in 2mm increments, -3.5 	$2,400.00	$3,016.00

to +3.5 Neck

AD286	BFH Total, A-class	Cobalt Chrome super finished femoral head. Size range 	36mm to 56mm in 2mm increments each with 	$2,400.00	$3,432.00

from 36mm to 56mm in 2mm increments with 3 head 	- 3.5mm, 0mm, + 3.5mm head lengths

lengths per size

AD288	Transcend/Lineage Articulation System	Metal femoral head CoCr	36mm, 4 lengths	$1,248.00

Biomet Australia Pty Ltd

BI896	M2A Magnum System	Femoral  Head, Cobalt Chrome, metal on metal 	38-60mm	$2,400.00	Used with BI895

Corin Australia Pty Ltd

CR016	Optimom Modular Head	Metal on metal, CoCr	>32mm	$2,400.00

ESKA Australia

EK064	Silver Surf Large Metal Head 	CoCr, metal on metal, dimpled, large	36mm - 48mm	$2,400.00

EK084	BS Femoral Head	CoCr, metal on metal, can be used with any ESKA stem	36mm - 48mm	$2,400.00

Finsbury Orthopaedics Australia Pty Ltd

FI015	Adept MoM Modular Head	Metal on Metal modular head, CoChr, 12/14 Eurocone	38 - 58mm going up in 2mm increments. 4 	$2,400.00

different neck lengths

Global Orthopaedic Technology

GO047	ICON Femoral Head	CoCr, metal on metal, large diameter	38-58mm	$2,400.00

Johnson & Johnson Medical Pty Ltd

DY330	ASR Large Femoral Head	CoCr, large diameter, metal on metal	39-63mm	$2,400.00	Used with DY329

Medacta Australia Pty Ltd

MU057	ROMAX Resurfacing System - Large Femoral Head	Large femoral head for metal-metal articulation	From diameter 38mm to diameter 60mm, 	$2,400.00

every 2mm

Prostheses List by Category, Groups and Sponsor	Page 528 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN741	Birmingham Modular Femoral Head	Cobalt Chrome	38 - 58mm	$2,400.00

Stryker Australia Pty Ltd

SR051	Mitch Hip System	 Femoral Head Metal on Metal	38mm - 60mm	$2,400.00

E

Johnson & Johnson Medical Pty Ltd

JJ574	ASR XLAnatomic Femoral Head	CoCr, metal on metal, large diameter with large offset 	39-63	$2,400.00

taper, used with XLAnatomic sleeve (JJ575)

Group 16a - Resurfacing, Metal, Cemented

Advanced Surgical Technologies

AD220	CONSERVE PLUS Total Hip Resurfacing System	CoCr Femoral Head - Super Polished	Sizes 36mm - 54mm in 2mm increments	$3,350.00

AD325	Conserve Plus A-CLASS Resurfacing Head	CoCr A-CLASS super finished resurfacing femoral head	36mm to 56mm in 2mm increments each with 	$3,350.00	$5,400.00

- 3.5mm, 0mm, + 3.5mm head lengths

Biomet Australia Pty Ltd

BI839	Resurfacing Hip System	Femoral Head CoCr, Cemented	38 - 60mm	$3,350.00

Corin Australia Pty Ltd

CR047	Cormet Resurfacing Head Cemented	CoCr Resurfacing Head	Dia 40 -56mm	$3,350.00

ESKA Australia

EK079	Silver Surf Cemented Resurfacing Femoral Head	CoCr, metal on metal, cemented with dimpled articular 	38mm - 58mm	$3,350.00

surface

Finsbury Orthopaedics Australia Pty Ltd

FI001	ADEPT MoM Resurfacing Head	Resurfacing Head MoM, Cast CoChr	38-58 going up in 2mm increments	$3,350.00

Global Orthopaedic Technology

GO049	ICON Resurfacing Head	CoCr, cemented, resurfacing, metal on metal	38-58mm head	$3,350.00

Johnson & Johnson Medical Pty Ltd

DY331	ASR Resurfacing Femoral Head	CoCr, cemented, resurfacing femoral head	39-63mm	$3,350.00

Medacta Australia Pty Ltd

MU054	ROMAX Resurfacing Femoral Head	Cemented resurfacing femoral head	From diameter 38-60mm, every 2mm	$3,350.00

Prostheses List by Category, Groups and Sponsor	Page 529 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN743	Birmingham Hip Resurfacing Prostheses -  Femoral 	Cobal Chrome	38 - 58 mm heads	$3,350.00	$3,780.00

Component

Stryker Australia Pty Ltd

SR043	Mitch Hip System	Resurfacing Head	38mm - 60mm	$3,350.00

SR059	Mitch PER Hip System	Proximal Epihyseal Replacement 	38 - 60mm	$6,000.00

Zimmer Pty Ltd

ZI466	Durom (Metasul)	Resurfacing femoral component	A - V	$3,350.00	$3,640.00

Group 16b - Resurfacing, Ceramic, Cemented

ESKA Australia

EK078	Hip Surf Cemented Resurfacing Ceramic Femoral Head	CoCr,ceramic articular surface, cemented	38mm - 58mm	$4,600.00	$5,200.00

Group 16c - Resurfacing, Metal, Uncemented

Biomet Australia Pty Ltd

BI838	Resurfacing Hip System	Femoral Head CoCr, Ti, HA Coated	38 - 60mm	$3,850.00

BI840	Resurfacing Hip System	Femoral Head CoCr, Ti, no HA	38 - 60mm	$3,600.00

Corin Australia Pty Ltd

CR090	Cormet Resurfacing Head  Bi Coated	CoCr with titanium plasma spray and HA	40mm-56mm	$3,850.00

CR122	Cormet Resurfacing Head Fully Bi Coated	CoCr with Titanium plasma spray and HA	44 to 56mm	$3,850.00

ESKA Australia

EK049	Silver Surf Resurfacing Femoral Head	CoCr, metal on metal, cementless with titanium spray, 3 	38mm-58mm	$3,850.00

dimensional metal with & without HA and dimpled articular

surface

EK062	Hip Surf Resurfacing Femoral Head	CoCr, metal on metal, cementless with titanium spray, 3 	38mm - 58mm	$3,600.00

dimensional metal with & without HA

EK067	Cornwall Resurfacing Femoral Head	CoCr, Titanium spray, 3 dimensional metal, with & without 	38-58mm	$3,850.00

HA, fixed defect augment

Prostheses List by Category, Groups and Sponsor	Page 530 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 16d - Resurfacing, Ceramic, Uncemented

ESKA Australia

EK066	Hip Surf Resurfacing Ceramic Femoral Head	CoCr, Titanium spray, 3 dimensional metal, ceramic 	38-58mm	$4,600.00

articular surface, without HA

Group 16e - Resurfacing, Other

Endotec Australia Pty Ltd

EA005	Buechel-Pappas Resurfacing Femoral Head	Titanium, beaded, uncemented, non HA with TiNi surface 	28mm to 58mm	$5,200.00	$5,450.00

treatment

Lifehealthcare Pty Ltd

LH308	HemiCAP Contoured Articular Resurfacing Hip System	Articular Component  - Chrome Cobalt	Articular Component 25mm - 2.5mm x 	$2,250.00

2.5mm to 5.0mm x 5.0mm offset;  Articular

Component 30mm - 4.5mm x 4.5mm to

7.0mm x 7.0mm offset; Articular Component

35mm - 6.0mm x 6.0mm to 9.5mm x 9.5mm

Smith & Nephew Surgical Pty Ltd

SN826	Birmingham PC Hip Replacement	Plasma carbarised articular surface	30-70	$3,350.00	$3,780.00

Group 17a - Hemi Bipolar

Austofix

AX045	Hyperion Moonstone Bipolar Cup	Stainless Steel Shell, UHMWPE liner with locking ring	Sizes 39 - 59	$1,550.00

Prostheses List by Category, Groups and Sponsor	Page 531 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Exactech Australia

EX008	L-Series Bipolar Head	The L-Series Bipolar Head is a modular two piece device 	28mm 40mm OD, 28mm 41mm OD, 28mm 	$1,248.00

consisting of a spherical cobalt chrome shell and 	42mm OD, 28mm 43mm OD, 28mm 44mm

interchangeable polyethylene liner inserts	OD, 28mm 45mm OD, 28mm 46mm OD,

28mm 47mm OD, 28mm 48mm OD, 28mm

49mm OD, 28mm 50mm OD, 28mm 51mm

OD, 28mm 52mm OD, 28mm 53mm OD,

28mm 54mm OD, 28mm 55mm OD, 28mm

57mm OD, 28mm 59 mm OD, 28mm 61mm

OD, 22mm 40mm OD, 33mm 41mm OD,

22mm 42mm OD, 22mm 43mm OD, 22mm

44mm OD, 22mm 45mm OD, 22mm 46mm

OD, 22mm 47mm OD, 22mm 48mm OD,

22mm 49mm OD, 22mm 50mm OD, 22mm

51mm OD, 22mm 52mm OD, 22mm 53mm

OD, 22mm 54mm OD, 22mm 55mm OD,

22mm 56mm OD

Hip C - Acetabular Components

Group 15 - All metal on metal heads

Johnson & Johnson Medical Pty Ltd

DY215	Pinnacle Femoral Head	CoCr , metal on metal, 	28, 36, 40, 44, 48 mm	$2,400.00

Group 18a - Cups, cemented, hooded and unhooded, unmodified polyethylene

Advanced Surgical Technologies

AD125	WMT Acetabular Cups All Poly	UHMWPE unmodified 	42 - 68mm in 2mm increments	$750.00

Austofix

AX046	Hyperion Emergence Cemented Cup	Acetabular Cup, UHMWPE	Sizes 42 - 54	$750.00

B Braun Australia Pty Ltd

BB236	Polyethylene Acetabular Cup	Unmodified Polyethylene	22.2mm-32mm articulations; 40mm-64mm 	$750.00

diameters

Prostheses List by Category, Groups and Sponsor	Page 532 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Biomet Australia Pty Ltd

BI064	Bioclad Hip System	Acetabular Cup, unmodified UHMWPE	22,28,32mm, size 39-69mm	$750.00	$936.00

BI067	Stanmore Total Hip System	Acetabular Cup, unmodified UHMWPE	25-32mm x size 40-53mm	$750.00

Corin Australia Pty Ltd

CR042	Cenator Acetabular Cup	Flanged Cemented UHMWPE	Dia 40 - 62mm, 22, 26, 28 heads	$750.00

Global Manufacturing Technology Pty Ltd

GM022	Edinburgh Cemented Cup	UHMWPE	44mm to 56mm outer, 28-32 inner diameter	$750.00	$884.00

GM128	Contile Fin II Acetabular, Mueller Cup 28mm and 32mm	Mueller Cup	28mm Neutral and 10 Degree, 32mm Neutral 	$750.00

and 10 Degree

Johnson & Johnson Medical Pty Ltd

DP182	Charnely Hip System Bore, LPW and Flanged Cups	UHMWPE cup, cemented 	28mm inner diameter, 38 - 53mm outer 	$750.00

diameter

JJ755	OGEE Cemented Cup	UHMWPE cup, cemented	22 - 32mm inner diameter, 40-53mm outer 	$750.00

diamter

JJ756	Wroblewski Cemented Cup	UHMWPE cup, cemented	22mm inner diamter, 40 - 53mm outer 	$750.00

diameter and angled bored

JJ757	LPW Cemented Cup	UHMWPE cup, cemented	28mm inner diameter, 40 - 53mm outer 	$750.00

diameter

Lima Orthopaedics Australia Pty Ltd

LC020	Lima Mueller Cup	UHMWPE Cup unmodified Cemented	44 - 62mm	$750.00	$850.00

Link Orthopaedics  Australia

LO018	LINK IP Acetabular Cup	UHMPE unmodified 	40 - 58mm	$750.00

Mathys Orthopaedics Pty Ltd

MA027	CCB Cemented UHMWPE Cup	UHMWPE, low & full profile	28/32 ID - 42/64 OD	$750.00

Orthotech Pty Ltd

OH105	Lima Mueller Cup	UHMWPE Cup unmodified Cemented	44 - 62mm	$750.00	$850.00

OH290	JRI Cemented Cup	UHMWPE Cup unmodified Cemented	28mm and 32mm	$750.00	$790.00

Smith & Nephew Surgical Pty Ltd

SN282	Opera	Acetabular Cup Flanged unmodified UHMWPE	22 - 28mm; 40 - 53mm	$750.00

SN288	Reflection	Acetabular Cup Unmodified UHMWPE	22 - 36mm, 42 - 76mm	$750.00

Prostheses List by Category, Groups and Sponsor	Page 533 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

HW029	Duration Polyethelene cemented acetabular component	Duration Poly Cup -  Enhanced Polyethylene	22 - 36 mm ID	$936.00

ST552	Osteonics hip prostheses	All poly cup polyethylene unmodified 	OD: 46-61mm.  ID: 22, 26, 28, 32mm	$750.00

Zimmer Pty Ltd

ZI027	ZCA Acetabular Cup	UHMPE unmodified	47 - 61	$750.00

ZI368	Apollo Hooded acetabular cup 	UHMPE unmodified	28/46mm to 28/62mm	$750.00	$850.00

ZI384	MS30 Hip - Cups Cemented	UHMPE unmodified	22/36 to 32/64	$750.00

MISa

Zimmer Pty Ltd

ZI383	MS30 Hip - Cups Cemented	Low Profile with Metasul - PE with special metal alloy	38 to 58mm 	$2,354.00

Group 18b - Cups, cemented, hooded and unhooded, modified polyethylene

Johnson & Johnson Medical Pty Ltd

JJ689	Marathon Cup System Cemented Acetabular Cup	Cemented modified UHMWPE acetabular cup with flange	Inner diameter 22-36mm, outer diameter 38-	$936.00

53mm

Smith & Nephew Surgical Pty Ltd

SN695	Opera	Acetabular Cup Flanged - XLPE modified polyethylene	22-36mm, 42-76mm	$936.00

SN696	Reflection	Acetabular Cup - XLPE	22-36mm,40-61mm	$936.00

Stryker Australia Pty Ltd

HW403	Exeter Hip System	Exeter Duration Cup - Enhanced Polyethylene - Low and 	OD: 40-60mm, ID: 22, 26, 28, 30	$936.00

High Profile

SK460	Exeter Rim Fit Flanged X3 Cup	X3 Highly crosslinked Cup	40 - 60 OD, 22 - 44 ID	$936.00	$1,300.00

ST013	Trident Crossfire All Polyethelene Cup	UHMPE modified 	40-64mm(Outer Diameter)	$936.00

Zimmer Pty Ltd

ZI314	ZCA All Poly Acetabular Cup - XLPE	UHMPE modified 	22, 26, 28 & 32 mm heads; 47-61mm 	$936.00

diameter; flanged and non-flanged

Prostheses List by Category, Groups and Sponsor	Page 534 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

F

Stryker Australia Pty Ltd

HW030	Contemporary Hip System Range	Exeter Contemporary Flanged modified  Enhanced 	ID: 26, 28, 32.  OD 46, 48, 50, 52, 54, 56, 	$961.00

Polyethylene 	58, 60

Group 18c - Cups, cemented, constrained, modified and unmodified polyethylene

Biomet Australia Pty Ltd

BI091	Kasselt Acetabular Cup System constrained	Acetabular Cup, unmodified UHMWPE	46-70mm	$832.00

ESKA Australia

EK020	ESKA Cemented UHMWPE Cup	UHMWPE, neutral & hooded 	.	$572.00

Link Orthopaedics  Australia

LO019	Lubinus eccentric Acetabular Cup	UHMPE constrained	44 - 58mm	$718.00

Stryker Australia Pty Ltd

HW043	Brunswick Cup	Polyethylene	44, 48, 50, 52, 54, 56mm OD	$832.00

SK430	Trident Constrained All Poly Acetabular Cup	UHMWPE constrained cemented cup	40-70mm	$1,765.00

Group 18d - Cups, cemented, metal shell

Corin Australia Pty Ltd

CR159	Saturne Cemented Tripolar Cup	Stainless steel cemented acetabular cup with an anatomical 	Sizes 44 - 60 in 2mm increments	$1,800.00

anti-disloction profile

Smith & Nephew Surgical Pty Ltd

SM133	Polar Cup Cemented Acetabular Shell	Stainless steel, cemented shell that has polished inner 	43-63MM	$1,800.00

surface for dual mobility with constrained UHMWPE

liner/head

Group 19a - Shell, uncemented, Grit blast, not HA

Mathys Orthopaedics Pty Ltd

MA498	SeleXys Acetabular TH+ Shell	Uncemented Ti acetabular shell, grit blast, non HA	42mm - 72mm in 2mm increments	$2,300.00

Smith & Nephew Surgical Pty Ltd

SM023	Bicon - PLUS Porosis Acetabular Shell	Titanium, grit blast, double thread	1 to 9	$2,300.00	$2,646.00

Prostheses List by Category, Groups and Sponsor	Page 535 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SM050	Bicon - PLUS Acetabular Shell	Titanium, grit blast, single thread	01, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	$2,300.00	$2,646.00

Zimmer Pty Ltd

ZI395	Variall Screw Cup System	Metasul Insert - special metal alloy	II28 to NN28mm	$2,354.00

Group 19b - Shell, uncemented, Grit blast, HA

Austofix

AX048	Hyperion Captiv Uncemented Cup	Titanium, grit blast	Sizes 44 to 69	$2,700.00

Energy Orthopaedics Pty Ltd

EO011	Atlas Acetabular Cup System	Titanium, grit blast & HA	Atlas Cup 40-74mm	$2,700.00

Johnson & Johnson Medical Pty Ltd

JJ702	Gyros Hip System	Dual mobility acetabular cup, stainless steel, grit blasted 	44-68mm	$2,700.00

with HA

Lifehealthcare Pty Ltd

LH068	MBA / Pavi	Titanium, grit blast with HA	46 - 64mm in 2 mm increments & 0 or 10 	$2,700.00

Degrees

Link Orthopaedics  Australia

LO032	Link acetabular cup system	Titanium, grit blast, HA	40 - 68mm	$2,700.00

Orthotech Pty Ltd

OH286	JRI CSF Cup 	Grit blast with HA, titanium	44mm - 70mm	$2,700.00	$3,100.00

Stryker Australia Pty Ltd

HW014	ABG 11Cup with Hydroxyapatite	Titanium, grit blast and HA for UHMPE insert	Sizes 42mm to 74mm OD in 2mm increments	$2,700.00

HW015	ABG 11Cup with Hydroxyapatite	Titanium, grit blast and HA for ceramic insert	Sizes 44mm to 66mm OD in 2mm increments	$2,700.00

F

Johnson & Johnson Medical Pty Ltd

JJ701	Gyros Hip System	Dual mobility acetabular cup, stainless steel, grit blasted 	44-68mm	$3,100.00

with HA and flanges for screw fixation

SI

Stryker Australia Pty Ltd

SK092	Stryker Hydroxyapatite coated cup with ceramic liner	Shell with Biolox forte ceramic liner	44 - 80mm OD	$2,700.00	$5,158.00

Prostheses List by Category, Groups and Sponsor	Page 536 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 19c - Shell, uncemented, Beaded, not HA

Advanced Surgical Design & Manufacture Ltd

AE109	FMP Acetabular System - Acetabular Shell, Porous	Acetabular Shells, porous 3D coating, no HA, available 	Each of the product variants listed above are 	$2,508.00

with: hemispherical with screw holes; hemispherical without 	available in rim diameters from 40mm to

screw holes; flared with screw holes; flared without screw 	70mm in 2mm increments.

holes; spiked shell without screw holes; and hemispherical

with multi-screw holes.

AE119	Keramos Acetabular System - Acetabular Shell, Porous	Flared acetabular shells, porous 3D coating, no HA with 3 	OD 48mm to 66mm, in 2mm increments	$2,508.00

screw holes

Advanced Surgical Technologies

AD103	Lineage and Transcend Acetabular Systems	Titanium, beaded, non HA	Shells 40 - 80mm in 2mm increments	$2,508.00

AD226	Lineage Acetabular System	Titanium Deep Profile Multi Hole Acetabular Shell	46 - 74mm in 2mm increments	$2,435.00

AD330	Procotyl L Acetabular System / Acetabular shell non HA	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	$2,508.00

AD334	Dynasty Acetabular System/ Actebular Shell	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	$2,508.00

Endotec Australia Pty Ltd

EA003	Buechel-Pappas Acetabular Shell	Titanium, beaded, uncemented, non HA with TiNi surface 	45mm to 69mm	$2,508.00	$2,730.00

treatment

Global Orthopaedic Technology

GO040	Consensus Acetabular Shell	Titanium, beaded, porous coating, non HA, variable holes	42mm to 68mm	$2,508.00	$3,276.00

GO129	FMP Acetabular Shell	Titanium, non HA, beaded, variable screw holes	42-70mm	$2,508.00	$2,704.00

GO154	Keramos Acetabular Shell	Titanium, beaded, non HA, 	48mm to 66mm	$2,508.00	$3,150.00

Johnson & Johnson Medical Pty Ltd

DP360	Duraloc Acetabular Shells	Titanium, beaded, (Porocoat) non HA, with or without 	Size 36-76	$2,508.00

holes &/or spikes

DY521	Pinnacle Acetabular Shell	Titanium, beaded (Porocoat), not HA, multiple holes, 	38 - 80mm	$2,508.00	$3,000.00

variable spike arrangements, can be used with ceramic,

metal and UHMWPE liners

Prostheses List by Category, Groups and Sponsor	Page 537 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA496	SeleXys Acetabular PC Shell	Uncemented Ti acetabular shell, beaded, non HA	42mm - 72mm in 2mm increments	$2,508.00

Smith & Nephew Surgical Pty Ltd

SN285	Reflection	Acetabular Cup, Beaded Titanium Alloy	42 - 80mm	$2,508.00

SN290	Reflection	Acetabular Shell Ceramic, Porous Titanium Alloy	46-66mm OD	$2,508.00

E

Johnson & Johnson Medical Pty Ltd

DP975	SROM Oblong Acetabular Shell	Titanium, beaded, non HA, double bubble  	28mm & 32mm size 51+E15N - 66+E15N	$8,840.00

Group 19d - Shell, uncemented, Beaded, HA

Advanced Surgical Technologies

AD119	Transcend/Lineage Articulation System	Beaded, Titanium HA coated cup	42 - 74mm in 2mm increments	$2,900.00

AD329	Procotyl L  Acetabular Cup	Beaded, Titanium HA coated cup	42 - 68mm	$2,900.00	$3,276.00

Johnson & Johnson Medical Pty Ltd

DP557	Duraloc Acetabular Shell with HA	Titanium, beaded, Duofix,HA, with or without holes 	Inner 36-70	$2,900.00

DY031	Duraloc Option Acetabular Shell	Titanium, beaded with HA (duofix)	46-66 mm	$2,900.00

DY520	Pinnacle Acetabular Shell	Titanium, beaded (Duofix), multiple holes, variable spike 	38 - 80mm	$2,900.00	$3,276.00

arrangements, can be used with ceramic, metal and

UHMWPE liners

Smith & Nephew Surgical Pty Ltd

SN286	Reflection	Acetabular Cup HA Coated Titanium Alloy, beaded	42 - 80mm	$2,900.00	$3,374.00

Group 19e - Shell, uncemented, Mesh, not HA

ESKA Australia

EK041	BS Acetabular Shell non HA	CoCr, Titanium spray, 3 dimensional metal, variable screw 	46-68mm	$2,500.00

holes, without HA

EK088	2000 Plus Acetabular Metal Shell	CoCr, Titanium Spray, 3 Dimensional Metal, Variable 	44-68mm	$2,500.00

Screw Holes,

Prostheses List by Category, Groups and Sponsor	Page 538 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI046	Fixa Ti-Por Cup	Porous Matrix Titanium, Screw Holes with Plugs, 	Size 44-66mm	$2,500.00	$3,000.00

Hemispherical Acetabular Cup

Zimmer Pty Ltd

ZI034	Trilogy Acetabular Cup	Titanium mesh (fibre metal) non HA for UHMPE insert	38 - 80	$2,500.00

ZI042	Trilogy Acetabular Cup	Titanium mesh (fibre metal) non HA for ceramic insert	48 - 70	$2,500.00

ZI386	Fitmore Cup	Titanium mesh non HA 	42 to 68mm	$2,500.00

F

ESKA Australia

EK070	BS Dysplasia Acetabular Shell 	CoCr, Titanium spray, 3 dimensional metal, variable screw 	46-66mm	$3,500.00	$4,900.00

holes and proximal flange, without HA

Group 19f - Shell, uncemented, Mesh, HA

ESKA Australia

EK040	BS Acetabular Shell with HA	CoCr, Titanium spray, 3 dimensional metal, variable screw 	46-68mm	$2,900.00

holes, HA

EK089	2000 Plus Acetabular Metal Shell	CoCr, Titanium Spray, 3 Dimensional Metal, Variable 	44-68mm	$2,900.00

Screw Holes, HA

Zimmer Pty Ltd

ZI035	Trilogy Acetabular Cup	Titanium mesh (fibre metal) with HA for UHMPE insert	38 - 80	$2,900.00

ZI041	Trilogy Acetabular Cup	Titanium mesh (fibre metal) with HA for ceramic insert	38 - 80	$2,900.00

ZI618	Trilogy IT HA/TCP Acetabular System	Titanium mesh (fibre metal) with HA	40CC; 42DD; 44EE; 46FF,; 48GG; 50HH; 	$2,900.00

52II; 54JJ; 56KK' 58LL' 60MM' 62NN;

64OO; 66PP; 68QU; 70RR; 72SS; 74TT

Prostheses List by Category, Groups and Sponsor	Page 539 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 19g - Shell, uncemented, Plasma, not HA

Biomet Australia Pty Ltd

BI038	Rx90 Hip System	Acetabular shell, Titanium Alloy, plasma, non HA	40-70mm	$2,300.00

BI111	Mallory Head Hip System	Acetabular shell, Titanium Alloy, plasma, non HA	40-80mm	$2,300.00

BI699	McLauglin Plus 5 Acetabular Shell	Acetabular Shell, Titanium, plasma, non HA	46 - 80mm	$2,300.00

Exactech Australia

EX007	Novation Crown Cup Shell - plasma and HA coated	Novation Crown cup and liners - no-hole and cluster hole 	Shell: No-Hole Shell size 48-68, 2mm 	$2,700.00

design options. Shells manufactured from titanium (Ti) alloy 	increments; Cluster Hole Size 48-68, 2mm

with plasma coating and an additional hydroxylapitite (HA) 	increments; Multi-Hole Size 48-56, Multi-

coating option. Sphere and taper inner diameter geometry.	Hole with Rim Fixation, Size 56-68

EX011	Novation Crown Cup Shell - plasma coated	Novation Crown Cup and Liners: No-Hole and Cluster 	Shell: No-Hole shell size 48-68, 2mm 	$2,300.00	Application split from 296. PDC benefit

Hole design options, shells manufactured from titanium (Ti) 	increments; Cluster Hole Size 48-68, 2mm 	decision on 2/6/09.

alloy with plasma coating, sphere and taper inner diameter 	increments; Multi-Hole Size 48-56, Multi-

geometry.	Hole with Rim Fixation, Size 56-68

Mathys Orthopaedics Pty Ltd

MA497	SeleXys Acetabular TPS Shell	Uncemented Ti acetabular shell, Ti plasma spray, non HA	42mm - 72mm in 2mm increments	$2,300.00

Portland Orthopaedics (Aust) Pty Ltd

PD016	Equator Plus Acetabular Shell	Titanium 3-hole plasma sprayed, non HA shell for ceramic 	44mm to 76mm	$2,300.00

& UHMWPE inserts

PD017	Equator Plus Acetabular Shell	Titanium multi-hole plasma sprayed, non HA shell for 	44mm to 76mm	$2,300.00

ceramic & UHMWPE inserts

Smith & Nephew Surgical Pty Ltd

SM025	EP Fit Acetabular Shell	Titanium, plasma spray, non HA, with variable number of 	40 - 68mm Dia	$2,300.00	$2,369.00

holes for UHMWPE,ceramic & metal inserts

SM128	POLAR CUP ACETABULAR Cementless Shell	Stainless steel with titanium plasma spray coating that has 	43-67MM	$2,300.00	$2,369.00

polished inner surface for dual mobility with constrained

UHMWPE liner/head

Prostheses List by Category, Groups and Sponsor	Page 540 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

F

Smith & Nephew Surgical Pty Ltd

SM129	POLAR CUP ACETABULAR Cementless Shell	Stainless steel with titanium plasma spray coating and pegs 	43-67MM	$3,300.00	$3,451.00

& flanges, that has polished inner surface for dual mobility

with constrained UHMWPE liner/head

Group 19h - Shell, uncemented, Plasma, HA

B Braun Australia Pty Ltd

BB243	Plasmacup	Titanium, plasma, HA	44mm-68mm	$2,700.00

Biomet Australia Pty Ltd

BI101	Bi Hapro Hip System	Acetabular Shell, Titanium, plasma, HA	46mm to 70mm	$2,700.00

BI110	Mallory Head Hip System	Acetabular Shell	40-80mm	$2,700.00

BI112	Mallory Head Hip System	Acetabular shell, solid, plasma, HA	40-80mm	$2,700.00

BI770	Exceed Acetabular System	Acetabular shell, solid, plasma, HA	Shell sizes 40-70mm	$2,700.00

Corin Australia Pty Ltd

CR074	Alpha Lock Plus Titanium Acetabular Shell	Titanium hip cup with plasma spray & HA and special pre-	42 - 70mm Diameter	$2,700.00

closed screw holes

CR085	Cera Fit Acetabular Shell	Titanium plasma spray & HA for UHMWPE Ceramic and 	42, 44, 46, 48, 50, 52, 54, 56, 58, 60, 62, 	$2,700.00

Metal Inserts	64, 66, 68, 70, & 74mm

Global Manufacturing Technology Pty Ltd

GM017	Cer-Met Acetabular Shell	Titanium, plasma spray, HA with variable number of holes	46mm to 66mm	$2,700.00

GM047	Fin II Acetabular Shell	titanium, Plasma sprayed, HA, with variable screw options	44 to 72mm	$2,700.00

GM113	Global Acetabular Shell	Titanium, plasma spray, HA with variable number of holes	44-72mm	$2,700.00

Lima Orthopaedics Australia Pty Ltd

LC016	Lima Total Hip Replacement System	Titanium, plasma, HA	44 - 66mm	$2,700.00	$2,800.00

Link Orthopaedics  Australia

LO150	BetaCup Cementless Acetabular Cup System	Acetabular Cup system comprising of 16 metal casings, 	Ø	$2,700.00

TiCaP coating, 3 Ceramic or 4 UHMWPE Inserts, head

diameters from Ø 26mm and Ø 36mm

Prostheses List by Category, Groups and Sponsor	Page 541 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medacta Australia Pty Ltd

MU008	Versafitcup Acetabular Shell	Titanium, plasma spray, with HA, variable holes	48 to 64	$2,700.00

MU022	Versafitcup Dual Mobility Acetabular Shell	Stainless steel, with titanium plasma coating and HA, and 	from diameter 46mm to 64mm in 2mm 	$2,700.00

polished inner surface for dual articulation	increments

Orthotech Pty Ltd

OH094	Lima Total Hip Replacement System	Titanium, plasma, HA	44 - 66mm	$2,700.00	$2,800.00

OH295	JRI CSF Plus Cup	Titanium, plasma, HA for ceramic insert	44mm - 70mm O/D	$2,700.00	$2,950.00

OH296	JRI CSF Plus Cup	Titanium, plasma, HA for modified poly insert	44mm - 70mm O/D	$2,700.00	$2,950.00

Portland Orthopaedics (Aust) Pty Ltd

PD037	EQ+ Acetabular Shell HA	Titanium, 3-hole, plasma sprayed, HA coated shell for 	44-76mm	$2,700.00

ceramic & UHMWPE inserts

Smith & Nephew Surgical Pty Ltd

SM024	EP Fit Acetabular Shell	Titanium, plasma spray,  and HA, with variable number of 	40 - 72mm Dia	$2,700.00	$2,785.00

holes for UHMWPE,ceramic & metal inserts

Stryker Australia Pty Ltd

SK500	Restoration Anatomic Dual Mobility Acetabular Cup	The Restoration ADM Acetabular Cup is part of the 	Available in left and right configurations 	$2,700.00	$3,500.00

Restoration ADM system	ranging in outer diameter sizes from 48mm -

64mm Inserts are 0 degree with an inner

diameter of 28mm

suffix - F (Flange)

Smith & Nephew Surgical Pty Ltd

SM131	POLAR CUP ACETABULAR Cementless Shell	Stainless steel with titanium plasma spray coating and HA 	43-67MM	$3,700.00	$3,838.00

and pegs & flanges, that has polished inner surface for dual

mobility with constrained UHMWPE liner/head

Group 19i - Shell, uncemented, Titanium, not HA

Biomet Australia Pty Ltd

BI971	Regenerex Ringloc+	Acetabular shell, solid, limited hole or multi hole, Porous Ti 	48 to 72mm OD	$2,500.00	$3,345.00

Alloy

Prostheses List by Category, Groups and Sponsor	Page 542 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA439	ExpanSys Acetabular Shell	Titanium, grit blast, leafed shell with stippling, non HA	acetabular shell/cup 44-72mm range	$2,500.00

Stryker Australia Pty Ltd

SK128	Trident Acetabular Component System	Titanium, arc deposited,  non HA	Shell sizes 42mm - 74mm OD	$2,500.00

Zimmer Pty Ltd

ZI353	Allofit Cup	Titanium, macro texture, non HA	46 - 68mm	$2,500.00

ZI385	CLS Cups	Titanium, macro texture, non HA	46 to 62mm	$2,500.00

ZI396	Variall Screw Cup System	Titanium, macro texture, non HA	46 to 62mm	$2,500.00

Group 19j - Shell, uncemented, Titanium, HA

Corin Australia Pty Ltd

CR119	Horizon Acetabular Shell	Anodised titanium, HA encoated with screw holes for 	42 - 70 mm	$2,900.00

ceramic inserts

Global Orthopaedic Technology

GO171	Interface Acetabular System	acetabular cup, titanium alloy with CP Ti	48mm to 66mm	$2,900.00

Stryker Australia Pty Ltd

ST548	Trident acetabular component system 	Titanium, arc deposited,  with HA	40-74mm OD in 2mm increments	$2,900.00

ST554	Stryker Securfit HA Coated Shell	Titanium, arc deposited,  with HA	40 - 80mm	$2,900.00

Group 19k - Shell, uncemented, Other, not HA

Johnson & Johnson Medical Pty Ltd

JJ653	Pinnacle Hip System - Gription Cup	Acetabular implant for use with the pinnacle hip system	38 - 80mm in outer diameter	$3,350.00

Stryker Australia Pty Ltd

SK428	Trident Tritanium Acetabular Shells	Acetabular Shell, tritanium	40mm - 80mm	$3,350.00

Zimmer Pty Ltd

ZI325	Trabecular Metal Modular Acetabular System	Titanium, porous tantalum 	38-80mm diameter; Cluster, Multiholed, No 	$3,350.00	$3,495.00

Holes

Prostheses List by Category, Groups and Sponsor	Page 543 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI617	Continuum Acetabular Shell	Trabecular Metal Acetabular Shell	40CC, 42DD, 44EE, 46FF, 48GG, 50HH, 	$3,350.00	$3,550.00

5II, 54JJ, 56KK, 58LL, 60MM, 62NN,

64OO, 66PP, 68QU, 70RR, 72SS, 74TT,

76UU, 78VV, 80W

Group 19l - Shell, uncemented, Other, HA

Corin Australia Pty Ltd

CR161	Saturne Press Fit Dual Mobility Acetabular Cup	A cementless, stippled and peripherally expanded, 	Sizes: 44 - 64 in 2mm increments	$3,100.00

acetabular cup.  Flattened pole and an elevated rim to help

prevent dislocation.

Stryker Australia Pty Ltd

SK429	Trident Tritanium Acetabular Shells (PA coated)	Acetabular Shell, HA Coating, tritanium	40mm - 80mm	$3,500.00

Group 20a - Insert/Liner, unmodified polyethylene

Advanced Surgical Design & Manufacture Ltd

AE118	Keramos Acetabular System - Acetabular cup insert, 	Modular UHMWPE liners, available in 28mm ID to fit 	28mm ID, to fit Keramos acetabular cups 	$820.00

UHMWPE	Keramos Acetabular Cups	from 48mm to 66mm OD

Advanced Surgical Technologies

AD127	WMT  Acetabular Liners	Duramer UHMWPE unmodified Liner	Grp 0, Grp 1, Grp 2, Grp 3, Grp 4, Grp 5, 	$820.00

and Grp 6

AD263	Procotyl-E cup	unmodified polyethylene liner	Group 1 - 3 sizes 22 - 32	$820.00

Austofix

AX049	Hyperion Captiv PE Liner	UHMWPE, Hooded and Unhooded	Sizes 44 to 66 mm	$650.00

B Braun Australia Pty Ltd

BB237	Plasmacup PE insert	UMHPE unmodified liner	44mm-68mm diameters, 22.2mm-32mm 	$820.00

articulations

Corin Australia Pty Ltd

CR073	UHMWPE Insert for Alpha Lock Plus shell	UHMWPE Insert	22-32mm	$820.00

CR075	UHMWPE  Insert for Cera Fit Acetabular Shell	UHMWPE Hooded and Neutral Insert	22-28mm Diameter for cup sizes: 42-74mm	$820.00

Prostheses List by Category, Groups and Sponsor	Page 544 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Endotec Australia Pty Ltd

EA004	Buechel-Pappas Acetabular UHMWPE Insert for large 	UHMWPE for larger diameter heads, including resurfacing 	45mm to 65mm	$820.00	$890.00

heads	heads

Energy Orthopaedics Pty Ltd

EO012	Atlas Acetabular Cup System	liner polyethylene liner, Titanium & HA	Atlas Poly Insert Std. Dia 28 and 32mm	$820.00

ESKA Australia

EK001	2000 Plus Acetabular UHMWPE Liner	UHMWPE, titanium or CoCr locking lug, neutral & 	28-32mm inner diameter	$820.00

hooded

EK077	BS Acetabular UHMWPE Liner	UHMWPE Liner for larger head sizes	36-48mm inner diameter	$820.00

EK082	BS Acetabular UHMWPE Liner	UHMWPE, for all head sizes 	28mm-48mm inner diameter	$820.00

Finsbury Orthopaedics Australia Pty Ltd

FI022	Adept MoP Acetabular Component	Liner, unmodified polyethylene	.	$820.00

Global Manufacturing Technology Pty Ltd

GM016	Cer-Met II UHMWPE Insert	UHMWPE 	46mm to 66mm, neutral & 10 degree 	$820.00	$936.00

GM048	Fin II UHMWPE Insert	UHMWPE	44 to 72mm, 0 & 5 degree hood	$820.00	$1,160.00

GM115	Global Acetabular UHMWPE Insert	UHMWPE	44-72mm	$820.00	$1,115.00

Global Orthopaedic Technology

GO131	FMP Acetabular UHMWPE Liner	UHMWPE, Non modified, neutral & hooded	42-70mm	$820.00	$1,115.00

GO145	Keramos UHMWPE Acetabular Liner	UHMWPE	48mm to 66mm	$820.00	$1,115.00

Prostheses List by Category, Groups and Sponsor	Page 545 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO172	Interface acetabular system	Insert UHMWPE	68-76mm/36	$820.00	$1,160.00

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54mm/32

52-54mm/28

50mm/28

46-48mm/28

10 Degree : 68-76mm/36

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54mm/32

52-54mm/28

50mm/28

46-48mm/28

Johnson & Johnson Medical Pty Ltd

DP112	Duraloc Enduron Liner	UHMWPE liner	Inner diameter 22-32mm, 36-76mm outer 	$820.00

diameter

DP222	DePuy Custom Made Acetabular Liners	UHMWPE custom liner for obsolete DePuy shells	Made to order	$1,250.00

DP946	Octopus UHMWPE Liner	UHMWPE liner used with Octopus Acetabular 	22.2, 28 and 32mm Size 55, 50	$820.00

Reconstruction Shell (DP945)

DP968	SROM Acetabular UHMWPE Liner	UHMWPE 	22 or 26 or 28 or 32mm inner diameter and 	$820.00

36-76mm outer diameter

Lima Orthopaedics Australia Pty Ltd

LC018	Lima Delta Cup Insert	Protruded UHMWPE Unmodified Liner	A, B, C, D, E	$820.00	$990.00

Prostheses List by Category, Groups and Sponsor	Page 546 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Link Orthopaedics  Australia

LO014	Link McMinn Acetabular insert	UHMWPE acetabular Insert unmodified	45 - 55 mm	$820.00

LO033	Link aceta bular Insert	UHMWPE acetabular Insert unmodified	40 - 68mm	$820.00

LO152	BetaCup Cementless Acetabular Cup System	UHMWPE Insert	26mm>	$820.00

Mathys Orthopaedics Pty Ltd

MA419	SeleXys Acetabular UHMWPE Liner	UHMWPE 	44mm-72mm	$820.00

MA440	ExpanSys Acetabular UHMWPE Liner	UHMWPE	46-70mm range	$820.00

Medacta Australia Pty Ltd

MU010	Versafitcup UHMWPE Liner	UHMWPE	Head dia 28mm (48 to 64) or 32mm (54 to 	$820.00

64), hooded & neutral

MU023	Versafitcup UHMWPE  Liner	Fixed UHMWPE Liner for Versafitcup Dual Mobility 	For head diameter  22.2mm sizes 46 - 48mm 	$820.00

Acetabular Shell	; for head diameter 28mm sizes 48 - 64mm

Orthotech Pty Ltd

OH096	Lima Delta Cup Insert	Protruded UHMWPE Unmodified Liner	A, B, C, D, E	$820.00	$990.00

OH287	JRI CSF Cup insert 	UHMWPE unmodified 	28mm, 32mm, 36mm	$820.00	$936.00

Smith & Nephew Surgical Pty Ltd

SM020	BICON UHMWPE Insert	UHMWPE	1 to 9	$820.00

SM026	EP Fit & MPF UHMWPE Insert	UHMWPE	40 - 68mm Dia	$820.00

SN289	Reflection	Acetabular Liner, unmodified UHMPE	22 - 36mm, 42 - 76mm	$820.00

Stryker Australia Pty Ltd

ST561	Strker Omnifit/SecurFit Acetabular Insert	Series I and II inserts, UHMPE	22 - 36mm ID for cups 40 - 80mm OD	$820.00

Zimmer Pty Ltd

ZI033	Trilogy Oblique liner	UHMPE unmodified	38 - 62	$820.00	$900.00

ZI037	Trilogy  liner	UHMPE unmodified	38 - 80 in 22, 28, 32	$820.00

ZI367	Armour Cup	Armor Cup P/E Insert	22 to 32mm, FF to 66QU	$613.00

ZI388	Liner for CLS,  Fitmore and Allofit	UHMPE unmodified	22, 28, 32mm Size 46 to 62	$820.00

Sa

Portland Orthopaedics (Aust) Pty Ltd

PD018	Equator Plus UHMWPE Insert	UHMWPE (unmodified) encased in CoCr surround	28mm to 36mm internal diameter, standard 	$613.00

and hooded

Prostheses List by Category, Groups and Sponsor	Page 547 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM043	Bofor Acetabular Insert	UHMWPE with titanium surround	48 -70mm	$1,600.00

Zimmer Pty Ltd

ZI389	Metasul Liner for CLS,  Fitmore and Allofit	UHMPE unmodified with metal insert	28mm	$2,354.00	$2,460.00

Group 20b - Insert/Liner, modified polyethylene

Advanced Surgical Design & Manufacture Ltd

AE108	FMP Acetabular System - Acetabular Cup Insert 	Acetabular cup inserts, UHMWPE compression moulded 	ID of 22mm, 28mm, 32mm to suit Acetabular 	$1,160.00

UHMWPE	and cross-linked.  22mm, 28mm and 32mm Internal 	shells of OD 40mm-70mm, available in

Diameters available in 0-degree (neutral), 10-degree 	0,10,20-degree hooded options

hooded and 20-degree hooded options.

Advanced Surgical Technologies

AD309	Lineage A-Class Crosslinked Polyethylene Liner	Standard and lateralized, 0deg and 15deg lipped crosslinked	28, 32, 36ID	$1,160.00

AD333	Procotyl L A-class Crosslinked polyethylene 	A-class crosslinked poly liners, standard and lipped liners	28,32,36ID	$1,160.00

liner,standard & lipped, large head options

AD336	Dynasty Acetabular System /poly liner	A-class Crosslinked polyethylene liner, standard and 	ID 22,28,32,36, 38,40,42,46	$1,160.00	$1,560.00

lipped, large head options

Biomet Australia Pty Ltd

BI106	Mallory Head Hip System	Acetabular Liner, UHMWPE, modified 	22 - 36mm, Sizes 21 to 28	$1,160.00

BI972	E-Poly HXLPE Liner	Highly cross linked PE liner, stabilised with Vit E	Liner size 22 to size 28 head sizes 28mm, 	$1,160.00	$1,560.00

32mm, 36mm,38mm,40mm

Exactech Australia

EX004	Novation GXL Liner	The GXL Liner are indicated for use in skeletally mature 	Liner Neutral: Group 1: 28mm ID, Group 2: 	$1,160.00

individuals undergoing primary surgery for total hip 	28mm IS, 32mm ID, Group 3: 32mm ID,

replacement	36mm ID; Group 4: 32mm, 36mm, Group 5:

32mm, 36mm, Liner "Lipped": Group 1:

28mm, Group2: 28mm, 32mm, Group 3:

36mm, Group 4: 32mm, 36mm, Group 5:

36mm, Liner "+5 Lateralised" Group 1:

28mm, Group 2: 28mm, 32mm, Group 3:

32mm, 36mm, Group 4: 32mm, 36mm,

Group 5: 32mm, 36mm

Prostheses List by Category, Groups and Sponsor	Page 548 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI050	Adler PE Acetabular Liners	XLPE Liners - for Fixa Cups	Neutral, 15 degree, in 22,28,32,36mm ID	$1,160.00

Global Manufacturing Technology Pty Ltd

GM125	Global Acetabular System HCLA (highly Cross-Linked 	HCLA (highly Cross-Linked and Annealed) Acetabular 	68-76mm/36	$1,160.00

and Annealed) Acetabular Liner	Insert	68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54/32

52-54mm/28

50mm/28

46-48mm/28

10 Degree

68-76mm/36

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54/32

52-54mm/28

50mm/28

46-48mm/28

GM129	Contile Fin II Acetabular Insert Highly Cross Linked 	Acetabular Insert Highly Cross Linked Polyethylene	Diameter 28mm 44mm to 72mm Neutral, and 	$1,160.00

Polyethylene	10 Degree, Diameter 32mm 44mm to 72mm

Neutral, and 10 Degree, Diameter 36mm

44mm to 72mm Neutral, and 10 Degree

Global Orthopaedic Technology

GO038	Consensus Hip System	Acetabular Cup Inserts UHMWPE 22mm to 32mm	42mm to 68mm	$820.00	$1,160.00

Prostheses List by Category, Groups and Sponsor	Page 549 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY036	Duraloc Marathon Acetabular UHMWPE Cross Linked 	UHMWPE, highly cross linked, 	Sizes 36-76mm	$1,160.00

Liner

DY210	Pinnacle Acetabular Cross Linked UHMWPE Insert	UHMWPE, highly cross linked (Marathon)	22-44mm inner diameter,36 - 80 mm outer 	$1,160.00

diameter

Lifehealthcare Pty Ltd

LH174	GL - U Hooded Liner	Hooded/Flat Insert	46, 48, 50, 52, 54, 56, 58, 60, 62, 64mm	$1,160.00

Medacta Australia Pty Ltd

MU019	Versafitcup Acetabular Highly Crosslinked UHMWPE 	Highly Crosslinked UHMWPE	Internal diameter 28,32 & 36, neutral & 	$1,160.00

Liner	hooded

Orthotech Pty Ltd

OH298	JRI CSF Plus Cup Insert 	UHMWPE modified 	10 degree liners 28mm, 32mm, 36mm	$1,160.00	$1,700.00

Smith & Nephew Surgical Pty Ltd

SM029	EP Fit & MPF Highly cross linked UHMWPE Insert	Modified UHMWPE	42 -76mm Dia, all head sizes	$1,160.00	$1,607.00

SM053	Bicon highly cross linked UHMWPE Insert	Modified UHMWPE	42 -76mm Dia, all head sizes	$1,160.00	$1,607.00

SN291	Reflection	Acetabular Liner XLPE modified UHMPE	22 - 36mm, 42 - 76mm	$1,160.00	$1,607.00

Stryker Australia Pty Ltd

HW072	Vitalock Acetabular system 12  Crossfire liner	UHMPE 	22mm,26mm,28mm, 32mm ID	$1,160.00

SK318	X3 Trident Acetabular Inserts	Modified UHMPE	Inner diameters: 22mm, 26mm, 28mm 32mm, 	$1,160.00	$1,560.00

36mm, 38 - 64mm.  For outer diameter shells

40mm - 80mm.

ST546	Stryker Acetabular Crossfire Insert	Modified UHMPE	22 -36mm  ID	$1,160.00

ST549	Trident acetabular component system	Trident polyethlene liner, enhanced polyethlene	22, 26, 28, 32mm dia	$1,160.00

ST931	Stryker Acetabular Insert	Enhanced Polyethylene insert	22 - 36mm ID	$1,160.00

Zimmer Pty Ltd

ZI045	'Longevity XLPE Acetabular liner	UHMPE modified	46 - 70	$1,160.00	$1,560.00

ZI046	Acetabular Cup	Longevity XLPE Polyethylene Liner 20 Degree	38 - 80	$1,160.00	$1,560.00

Prostheses List by Category, Groups and Sponsor	Page 550 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI047	Acetabular Cup	Longevity XLPE Polyethylene Liner 10 Degree	38 - 80	$1,160.00	$1,560.00

ZI048	Acetabular Cup	Longevity XLPE Polyethylene Liner 0 Degree 	38 - 80	$1,160.00	$1,560.00

ZI315	Trilogy Acetabular System - Longevity Eccentric	UHMPE modified 	22 + 28 + 32 Head Diameters; 38 - 80mm 	$1,160.00	$1,560.00

Outer Diameters

ZI317	Trilogy Acetabular System - Longevity Oblique	Highly crosslinked ultrahigh molecular weight polyethylene	22 + 28 + 32 Head Diameters; 38 - 80mm 	$1,160.00	$1,560.00

Outer Diameters

ZI357	Alpha Durasul Insert	UHMPE modified 	22mm x 42 to 28mm x 68	$1,160.00	$1,560.00

ZI360	Converge	Durasul Insert - Special UHMWPE	22/39 to 38/81mm 	$1,160.00	$1,560.00

ZI393	Variall Screw Cup System	Durasul Insert - special UHMWPE	II28 to NN28mm	$1,160.00	$1,560.00

ZI491	Trabecular Metal Acetabular Revision System Longevity 	UHMPE modified 	28mm x 48mm-80mm - 0deg & 10deg; 	$1,160.00	$1,560.00

Liner 	32mm x 54-80mm - 0deg & 10 deg; 36mm x

58mm-80mm - 0deg & 10deg; 40mm x 62-

80mm - 0deg & 10 deg

ZI620	Continuum Acetabular System	HXPE Liner (Highly Cross Linked) - Neutral, Elevated, 	28mm Neutral - EE to QU; 32mm Neutral 	$1,160.00

Offset and Oblique	GG to VV; 36mm Neutral II to W; 40mm

Neutral KK to VV; 22mm Elevated - CC to

FF; 28mm Elevated EE to QU; 32mm

Elevated GG to VV; 36mm Elevated II to

VV; 28mm 7 mm Offset CC28 to QU28;

32mm 7mm Offset EE32 to QU32; 36mm

7mm Offset GG36 to VV36; 28mm Oblique

EE28 to II28; 32mm Oblique GG32 to

VV32; 36mm Oblique II36 to VV36

Group 20c - Insert/Liner, ceramic

Advanced Surgical Design & Manufacture Ltd

AE120	Keramos Acetabular System - Acetabular cup insert, 	Modular alumina ceramic liners, available in 28mm ID, 	28mm ID, 32mm ID to fit Keramos 	$2,560.00

ceramic	32mm ID to fit Keramos Acetabular Cups	acetabular cups from 48mm to 66mm OD

Advanced Surgical Technologies

AD116	Transcend/ Lineage Articulation System	Ceramic Liner, biolox forte	28mm & 32mm Group 1,2,3 & 4	$2,560.00

Prostheses List by Category, Groups and Sponsor	Page 551 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD261	Procotyl-E cup ceramic inserts	Ceramic insert, biolox forte	Group 1 - 3, Size 28 and 32	$2,560.00

B Braun Australia Pty Ltd

BB235	Plasmacup Ceramic Insert	Biolox liner	26mm, 28mm, 32mm, 36mm	$2,560.00

Corin Australia Pty Ltd

CR063	Ceramic Insert for Cera Fit Acetabular Shell	Ceramic insert, Biolox Forte	For 28-36mm heads	$2,560.00

CR120	Horizon Ceramic Liner	Ceramic insert, Biolox Forte	9 sizes for 28, 32 and 36mm heads	$2,560.00

Exactech Australia

EX001	Novation Ceramic AHS Liner	Novation Ceramic AHS is indicated for use in primary total	Group 1 brown 28mm ID, Group 2 Blue 	$2,560.00

hip arthroplasty in skeletally mature patients with non-	32mm ID, Group 3 gray 36mm, Group 4

inflmmatory degenerative joint disease.	purple 36mm ID, Group 5 green 36mm ID

Finsbury Orthopaedics Australia Pty Ltd

FI023	Adept CoC Acetabular component	Biolox forte 'Liner	.	$2,560.00

FI051	Adler Ceramic Acetabular Liners	Ceramic Liners - for Fixa Cups	Biolox Forte & Delta, 28,32,36 & 40 mm ID	$2,560.00

Global Manufacturing Technology Pty Ltd

GM024	Cer-Met II Ceramic Insert	Ceramic, Biolox Forte	46mm to 66mm	$2,560.00

GM049	Fin II Ceramic Insert	Ceramic, Biolox Forte	44 to 72mm	$2,560.00

GM114	Global Acetabular Ceramic Insert	Ceramic, Biolox Forte	44-72mm	$2,560.00

Global Orthopaedic Technology

GO039	Consensus Acetabular Ceramic Liner	Ceramic, biolox forte	42mm to 68mm	$2,560.00

GO144	Keramos Ceramic Acetabular Liner	Ceramic, biolox forte	48mm to 66mm	$2,560.00

Johnson & Johnson Medical Pty Ltd

DY034	Duraloc Option Acetabular Shell Ceramic Insert	Ceramic, Biolox Forte	46-66 mm	$2,560.00

DY512	Pinnacle Acetabular Cup System	Pinnacle ceramic liner	44 - 66mm	$2,560.00

Lifehealthcare Pty Ltd

LH177	GL - Alumina U Liner	Ceramic Insert Biolox	46-64mm (increment by 2mm)	$2,560.00

Lima Orthopaedics Australia Pty Ltd

LC017	Lima Delta  Ceramic Liner	Ceramic Liner, biolox forte and delta	A, B, C, D, E	$2,560.00	$2,650.00

Prostheses List by Category, Groups and Sponsor	Page 552 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Link Orthopaedics  Australia

LO151	BetaCup Cementless Acetabular Cup System	Ceramic Insert	28mm>	$2,560.00	Split of App 441. New apps 453 & 454.

Mathys Orthopaedics Pty Ltd

MA421	SeleXys Acetabular Bionit Ceramic Liner	Bionit ceramic (alumina)	44-72mm	$2,560.00

Medacta Australia Pty Ltd

MU012	Versafitcup Ceramic Insert	Ceramic, Biolox Forte	Head dia 28mm (48 to 64) or 32mm (52 to 	$2,560.00

64) or 36mm (54 to 64)

Orthotech Pty Ltd

OH095	Lima Delta  Ceramic Liner	Ceramic Liner, biolox forte and delta	A, B, C, D, E	$2,560.00	$2,650.00

OH288	JRI CSF Cup Ceramic Insert	Ceramic Inserts, Alumina oxide, Biolox Forte	28mm	$2,560.00	$2,600.00

OH297	JRI CSF Plus Cup ceramic Insert	CSF Plus Cup Liner, Delta Liner 	28mm, 32mm, 36mm	$2,560.00	$2,800.00

Smith & Nephew Surgical Pty Ltd

SM021	Bicon Ceramic Insert	Ceramic, Biolox Forte	For shells 1-9, all head sizes	$2,560.00

SM027	EP Fit & MPF Ceramic Insert	Ceramic, Biolox Forte	For 42 -76mm shells, all head sizes	$2,560.00

SM143	EP fit & MPF Delta Ceramic Insert	Ceramic Delta Acetabular Liners	44mm-72mm *28mm - 44mm	$2,620.00

SN297	Reflection 	Acetabular Liner Ceramic, AlO3 biolox forte	28 - 36mm, 46 - 66mm OD	$2,560.00

Stryker Australia Pty Ltd

ST565	Alumina acetabular inserts	Ceramic insert, alumina	28, 32 & 36mm dia	$2,560.00

Zimmer Pty Ltd

ZI044	Trilogy AB Ceramic Liner	Biolox forte	48 - 70	$2,560.00

ZI394	Variall Screw Cup System	Cerasul Insert - Ceramic	II28 to NN28mm	$2,560.00

Sa

Biomet Australia Pty Ltd

BI073	Modular Ceramic System	Acetabular Ceramic/ Polyethylene Liner, UHMWPE	28mm, 32mm, -6 to +12mm	$2,560.00

Energy Orthopaedics Pty Ltd

EO038	Atlas Acetabular Cup System	liner - ceramic and poly 'Titanium & HA	Atlas Alumina Insert Dia 28mmort	$2,560.00

Portland Orthopaedics (Aust) Pty Ltd

PD019	Equator Plus Ceramic Insert	Ceramic encased in CoCr surround	28mm to 36mm internal diameter	$2,560.00

Prostheses List by Category, Groups and Sponsor	Page 553 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI354	Alpha Cerasul Insert	UHMPE unmodified with ceramic insert	52 to 70mm 	$2,560.00

Group 20d - Insert/Liner, metal

Advanced Surgical Technologies

AD289	Transcend/Lineage Articulation System	Metal CoCr Liner	Grp 1, Grp 2, Grp 3, Grp 4  28, 32 & 36mm	$2,100.00

AD331	Procotyl L metal liner, large head options	CoCr superfinished Metal liners	28,32,36ID	$2,100.00

AD335	Dynasty Acetabular System / metal liner, large head 	Dynasty Metal liner	ID 28,32,36,38,40,42,44,48	$2,100.00	$2,354.00

options

Biomet Australia Pty Ltd

BI057	M2A taper 	Metal Acetabular Insert, Chrome Cobalt	Standard	$2,100.00

ESKA Australia

EK037	BS Acetabular Shell Metal Liner	CoCr, large diameter, metal on metal, insert varying 	36 -48mm 'inner diameter, 46-66mm outer 	$2,100.00

thickness, can be used with conventional & resurfacing 	diameter

heads

Finsbury Orthopaedics Australia Pty Ltd

FI048	Fixa Cup	Solid Titanium, Porous & HA Coated, Screw Holes with 	44-66mm	$2,100.00	$2,500.00

Plugs, Hemispherical Acetabular Cup

FI049	Adler Metal Acetabular Liners	Metal Liners - for Fixa Cups	Metal Liner 32.36, 40mm ID	$2,100.00	$2,300.00

Global Manufacturing Technology Pty Ltd

GM119	Global Metal Acetabular Inserts	CoCr, metal on metal, varying diameter	Multiple sizes	$2,100.00

GM127	Contile Finn II, Acetabular system, insert metal	Acetabular Insert Metal	metal on metal 28mm 44mm to 50mm	$2,100.00

metal on metal 32mm 48mm to 62mm

metal on metal 36mm 52mm to 72mm

Global Orthopaedic Technology

GO130	FMP Acetabular Metal Liner	CoCr with UHMWPE sandwich, metal on metal	42-70mm	$2,100.00

Johnson & Johnson Medical Pty Ltd

DY021	Ultima & Ultamet Acetabular Metal Liner	CoCr, Metal on metal liners used with SROM & Pinnacle 	28-44mm inner diameter,44-66mm outer 	$2,100.00

Acetabular shells	diameter

Prostheses List by Category, Groups and Sponsor	Page 554 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY513	Pinnacle Acetabular Cup System	Pinnacle Ultamet metal liner	44 - 66mm	$2,100.00	$2,288.00

Lima Orthopaedics Australia Pty Ltd

LC012	Lima Cup 	Metal Liner	28mm, 32mm and 36mm	$2,100.00	$2,200.00

Mathys Orthopaedics Pty Ltd

MA441	ExpanSys Acetabular Metal Liner	CoCr, metal on metal with UHMWPE sandwich	Metal on metal inlay 28mm i.d. 44 - 70mm 	$2,100.00

o.d., 32mm i.d. 52 - 56mm o.d., 36mm i.d.

58 - 70mm o.d.

MA495	SeleXys Acetabular metal (metamys) inlays	metal on metal acetabular liner	42mm, 44mm, 50mm, 54mm and 56mm	$2,100.00	$2,288.00

Smith & Nephew Surgical Pty Ltd

SN845	Reflection	CoCr Acetabular Insert	52 - 60mm	$2,100.00	$2,425.00

Zimmer Pty Ltd

ZI619	Continuum Acetabular System	Metasul Taper Liners	28mm DD28 to GG28; 32mm FF32 to II32; 	$2,100.00	$2,354.00

36mm HH36 to TT36; 40mm JJ40 to W40

Sa

Mathys Orthopaedics Pty Ltd

MA494	SeleXys Acetabular metal (metamys) inlays	metal on metal acetabular liner with UHWPE- metal 	42mm - 72mm in 2mm increments	$2,100.00	$2,388.00

sandwich for larger sizes

sandwich

Advanced Surgical Design & Manufacture Ltd

AE106	FMP Acetabular System - Acetabular cup insert, metal 	Modular metal on metal liner, available in 28mm ID, 34mm 	28mm ID, 34mm ID, 38mm ID, to fit FMP 	$2,300.00

on metal	ID, 38mm ID, to fit FMP Acetabular Cup system	Acetabular Cups from 48 mm to 70mm OD

Group 20e - Insert/Liner, constrained

Advanced Surgical Design & Manufacture Ltd

AE111	FMP Acetabular System - Constrainer Liner	28mm constrained liner and titanium locking ring is used 	28mm ID, from MP5 to MP12 (40mm 	$1,636.00

with the FMP acetabular system to treat recurrent 	through to 70mmOD)

dislocation.

Biomet Australia Pty Ltd

BI092	Mallory Head Hip System	Acetabular Liner,  Constrained, Ringloc, UHMWPE	28-38mm	$1,836.00	$3,000.00

Prostheses List by Category, Groups and Sponsor	Page 555 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI878	Freedom Constrained Liner	Constrained Acetabular Liner - UHMWPE, Ti	23 to 62	$1,836.00	$3,000.00

BI928	Tripolar Acetabular Cup Series	Ringloc Series, UHMWPE, Chrome Cobalt	24-28mm	$832.00	$3,346.00

Corin Australia Pty Ltd

CR162	Saturne acetabular liner	Polyethylene liner for double mobility cup	Sizes 44/22; 46/22; 48/28; 50/28; 54/28; 	$1,481.00

56/28; 60/28; 64/28; 66/28

Exactech Australia

EX005	Novation Crown Cup Constrained Liner and Ring	Sphere and taper liner diameter geometry for compatability 	Locking Ring is one size and Constrained 	$1,481.00

with the Novation Crown Cup	Liner: Group 1: 48/50mm, shells, 38mm ID;

Group 2: 53/54mm, shells, 32mm ID; Group

3: 56/58mm shells, 36mm ID; Group 4:

60/62mm shells, 36mm ID; Group 5:

64/66/68mm shells, 36mm ID

Global Manufacturing Technology Pty Ltd

GM124	Global Acetabular System- Highly cross-linked and 	highly cross linked and annealed constrained liner	28mm, 32mm  36mm Diameter Neutral, 10 	$1,836.00	$2,131.00

Annealed constrained liner	degree and 20 degree size range 44mm to

72mm

GM126	Global acetabular system - constrained liner	constrained polyethylene liner	Diameter 28mm, 32mm and 36mm 44mm to 	$1,481.00

72mm Neutral, 10 degree and 20 degree

Johnson & Johnson Medical Pty Ltd

DP969	SROM Acetabular Constrained UHMWPE Liner	UHMWPE Constrained liner includes locking ring	0Deg, 10 Deg, 28mm, 32mm,	$1,481.00

Medacta Australia Pty Ltd

MU024	Versafitcup UHMWPE  Constrained Liner	UHMWPE Constrained Liner for Versafitcup Dual 	For head diameter 22mm sizes 46 - 64mm. 	$1,650.00

Mobility Acetabular Shell	For had diameter 28mm sizes 48 - 64mm.

Smith & Nephew Surgical Pty Ltd

SM042	Bicon Constrained Liner	UHMWPE	1 - 9, 28mm, 32mm	$1,481.00

SM134	POLAR Dual Mobility Constrained Liner	UHMWPE	FOR '22.2-28MM Head sizes and 43-	$1,481.00

72MM diameter shells

SM135	POLAR Dual Mobility Constrained Highly Cross Linked 	Modified UHMWPE	FOR '22.2-28MM Head sizes and 43-	$1,481.00	$1,836.00

Liner	72MM diameter shells

SN689	Reflection	Constrained Acetabular Liner unmodified UHMWPE	22 - 32mm, 42 - 76mm	$1,636.00

Prostheses List by Category, Groups and Sponsor	Page 556 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN856	R3 Acetabular System	XLPE Constrained Acetabular liner	40-78mm	$1,836.00

Stryker Australia Pty Ltd

SK501	Restoration Anatomic Dual Mobility Polyethylene Insert	The polyethylene insert for the Restoration ADM 	42mm - 58mm  Inserts are 0 degrees with an 	$1,481.00

component articulates with the highly polished inner surface 	inner diameter of 28mm

of the Restoration ADM cup and is articul;ated with a

standard cobalt-chrome or ceramic 28mm diameter femoral

head

SR067	Anatomic X3 Liners	Anatomic X3 Liner with constraint	36mm, 40mm, 44mm, 48mm and 52mm	$1,836.00

ST539	Constrained acetabular insert 	UHMPE & cobalt chrome bipolar constrained insert	22, 26, 28, 32mm dia	$3,016.00

Zimmer Pty Ltd

ZI030	Trilogy Constrained Liner - Polyethylene	UHMPE unmodified 	50 - 80	$1,481.00	$3,345.00

ZI318	Trilogy Acetabular System - Longevity Constrained	UHMPE modified 	22 + 28 + 32 Head Diameters; 38 - 80mm 	$1,761.00	$3,345.00

Outer Diameters

ZI561	Trabecular Metal Acetabular Revision System	Cemented Constrained Liner	50x28mm; 52x28mm; 54x32mm; 56x32mm; 	$3,016.00

58x36mm; 60x36mm; 66/68/70x36mm;

72/74x36mm; 76/78/80x36mm

ZI568	Trilogy Acetabular System	Longevity Constrained Liner	50/52/54mmODx28mmID; 	$3,016.00

56mmODx32mmID; 58mmODx32mmID;

60mmODx36mmID; 62mmODx36mmID;

64mmODx36mmID; 66mmODx36ID;

68mmODx36mmID; 70mmODx36mmID;

72mmODx36mmID; 74mmODx36mmID;

76mmODx36mmID; 78mmODx36mmID;

80mmODx36mmID

CR

Johnson & Johnson Medical Pty Ltd

DP014	Duraloc & Pinnacle Constrained Inserts	UHMWPE, constrained liner with titanium alloy locking ring	Inner diameter 28-44mm, 36-76mm outer 	$1,836.00

diameter

Prostheses List by Category, Groups and Sponsor	Page 557 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

ST932	Stryker Trident Constrained Acetabular Insert	Two pre assembled components: Outer insert component 	Sizing 22 - 32mm in 0 degrees & 10 degrees	$3,016.00

and a captured UHR (Universal Head) component.

Composition - Cobalt chrome alloy and UHMWPE (ultra

high molecular weight polyethylene) with a Titanium 6A1-

4V ELI alloy retaining ring

Group 20f - Insert/Liner other

Advanced Surgical Technologies

AD332	Procotyl L Delta Ceramic Liner	Delta ceramic liners	28, 32, 36ID	$2,560.00

B Braun Australia Pty Ltd

BB318	Plasmacup Delta	36mm combination plasmacup HA coated shell & Biolox 	36mm x 48mm - 54mm diameter	$5,100.00	$5,500.00

Delta liner

Corin Australia Pty Ltd

CR158	Biolox Delta Acetabular Liner	Biolox Delta ceramic acetabular liner	28mm, 32mm, 36mm	$2,500.00

ESKA Australia

EK006	2000 Plus Acetabular Ceramic Liner	Ceramic, (Alumina & Polyurethane), hooded & neutral	28-32mm inner diameter	$2,500.00

EK065	BS Acetabular Ceramic Insert	Ceramic, (Alumina & Polyurethane), for larger diameter 	36 - 48mm inner diameter, 46 - 66mm outer 	$2,500.00

heads	diameter

Global Manufacturing Technology Pty Ltd

GM130	Contile Fin II Acetabular Biolox Delta Ceramic Liners	Contile Fin II Acetabular Biolox Delta Ceramic Liner 	Inserts 28mm 44mm to 46mm, Inserts 32mm 	$2,620.00

inserts 28mm,32mm & 46mm	48mm to 66mm, Inserts 36mm 52mm to 66mm

Johnson & Johnson Medical Pty Ltd

JJ703	Gyros Hip System	Dual mobility constrained liners, unmodified UHMWPE for 	44-68mm	$1,481.00

Gyros Cup.

Mathys Orthopaedics Pty Ltd

MA486	SeleXys Acetabular Ceramys Ceramic Liner	Ceramys ceramic (zirconia & alumina combination)	28/AA, 28/BB, 28/CC, 28/DD, 32/CC, 	$2,620.00	$2,760.00

32DD, 32/EE, 32/FF,36/EE, 36/FF, 36/GG,

386HH,36/II, 36/JJ, 36/KK, /36/LL

Prostheses List by Category, Groups and Sponsor	Page 558 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medacta Australia Pty Ltd

MU013	Versafitcup Delta Ceramic Insert	Ceramic, Delta	32mm (48 to 50) or 36mm (54 to 64)	$2,620.00

Zimmer Pty Ltd

ZI621	Continuum Acetabular System	Biolox Delta Taper Ceramic Liner	28mm: EE28 to HH28; 32mm: GG32 to JJ32;	$2,620.00

36mm: II36 to TT36; 40mm: KK40 to VV40

R

Smith & Nephew Surgical Pty Ltd

SN855	R3 Acetabular system	Delta Ceramic Liner	40-78mm	$2,620.00	$2,717.00

Group 21a - UHMWPE

Mathys Orthopaedics Pty Ltd

MA031	RM Classic Acetabular Cup	Titanium with lugs bonded bearing surface UHMWPE 	46mm - 68mm	$2,368.00

MA472	RM Pressfit Cup	Titanium bonded bearing surface UHMWPE 	46-64mm	$2,368.00	$2,475.00

SI

Finsbury Orthopaedics Australia Pty Ltd

FI002	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with presembleed with 	44-66 outer diameter going up in 2mm 	$3,640.00

unmodified UHMPE	increments

Group 21d - Metal

SA

Mathys Orthopaedics Pty Ltd

MA023	RM Classic Acetabular Cup, Metal on Metal	Titanium with lugs and CoCr bonded bearing surface plus 	46mm - 68mm	$3,588.00

UHMWPE sandwich

MA473	RM Pressfit Acetabular Cup, Metal on Metal	Titanium and CoCr bonded bearing surface plus 	46-64mm	$3,588.00	$3,750.00

UHMWPE sandwich

Prostheses List by Category, Groups and Sponsor	Page 559 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 21e - Other

Finsbury Orthopaedics Australia Pty Ltd

FI004	Delta motion acetabular cup	Titanium, plasma with HA cup with presembleed delta 	42 - 66 going in 2 mm Increments             168	$5,100.00	$7,000.00

ceramic liner	 - 102 Acetabular Cup - 42 OD 32 bore,

168 - 104Acetabular Cup - 44 OD 32 bore,

168 - 106 Acetabular Cup - 46 OD 36 bore,

168 - 108 Acetabular Cup - 48 OD 36

Bore,   168 - 110 Acetabular Cup - 50 Od

40

F

Finsbury Orthopaedics Australia Pty Ltd

FI003	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with presembleed with 	44-66 Outer diameter going up in 4mm 	$3,640.00

unmodified UHMPE with dysplasia flange	increments

FI005	ADEPT CoC Acetabular component	Titanium, plasma with HA cup with presembleed delta 	44-66 Outer diameter going up in 4mm 	$5,100.00	$8,000.00

ceramic liner with dysplasia flange	increments

Group 22b - Uncemented metal on metal, not resurfacing

Biomet Australia Pty Ltd

BI055	M2A taper 	Metal on Metal Acetabular Shell, Titanium	46 - 70mm	$2,300.00

BI783	M2a Modular Head Component & Special Acetabular 	Metal on Metal Acetabular, Chrome Cobalt, Ti, no HA	48-70 mm	$5,084.00

Cup

Group 23 - Ceramic

Lima Orthopaedics Australia Pty Ltd

LC007	Lima Total Hip Replacement System	Mueller Ceramic and UHMWPE Cup (Cemented)	44 - 62mm	$1,900.00

Prostheses List by Category, Groups and Sponsor	Page 560 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 24a - Resurfacing, metal, not HA

Advanced Surgical Technologies

AD313	Conserve Total SUPERFIX Shell	Porous coated, super finished, revision resurfacing cup with	50mm - 72mm OD	$4,650.00	$6,300.00

fins and screws

Biomet Australia Pty Ltd

BI841	Resurfacing Hip System	Acetabular Shell CoCr, Ti	44 - 66mm	$4,650.00	$5,084.00

Zimmer Pty Ltd

ZI467	Durom resurfacing cup 	CoCr and Titanium, plasma spray, non HA 	A - V	$4,650.00	$5,650.00

Mod3CoA

Corin Australia Pty Ltd

CR155	Extreme Revision Hip Metaphyseal Section	Metaphyseal segment, adjustable rotation, anodized 	4 sizes	$3,520.00

titanium with HA coating

CR156	Extreme Revision Hip Monobloc Epiphysis Metaphyseal 	Combined metaphyseal and epiphyseal sections, adjustable 	4 sizes	$4,520.00

Section	rotation, anodized titanium with HA coating

Group 24b - Resurfacing, metal, HA

Advanced Surgical Technologies

AD213	CONSERVE PLUS Total Hip Resurfacing System	Titanium Acetabular Shell - Super Polished	ID 36 - 54mm, OD 46 - 64mm	$5,150.00

AD229	Conserve Plus Total Hip Resurfacing System	Titanium Thin Acetabular Shell - Super Polished	36 - 54mm ID in 2mm Increments	$5,150.00

Biomet Australia Pty Ltd

BI842	Resurfacing Hip System	Acetabular Shell CoCr, Ti, HA Coated	44 - 66mm	$5,150.00

Corin Australia Pty Ltd

CR048	Cormet Resurfacing Cup	Metal on Metal bearing surface, Titanium, Plasma spray 	Dia 40 -56mm	$5,150.00

with HA Coating (Bicoat)

CR087	Cormet Dysplasia Cup	Dysplasia cup with three-holed proximal flange, Metal on 	48, 52, 56, 60, 64mm	$7,000.00

Metal bearing surface, Titanium, Plasma spray with HA

Coating (Bicoat)

Prostheses List by Category, Groups and Sponsor	Page 561 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI013	Adept MoM Acetabular Component	Porocast beaded Shell , Co Cr, HA coated size 44-66mm	44-66mm Outer diameter going up in 2mm 	$5,150.00

increments

Global Orthopaedic Technology

GO048	ICON Acetabular Cup	CoCr, beaded, HA coating, with fins, resurfacing, metal on 	44-66mm cups	$5,150.00

metal

Johnson & Johnson Medical Pty Ltd

DY328	ASR Acetabular Cup	CoCr beaded with HA, Resurfacing metal on metal bearing	44-70mm	$5,150.00

surface.

JJ605	ASR 300 Acetabular Cup	CoCr, beaded, with HA, (duofix) & 3 additional spikes for 	44 - 70mm	$7,000.00

fixation

Medacta Australia Pty Ltd

MU055	ROMAX Acetabular Cup	Cementless Acetabular Cup, HA coated	From diameter 44-66mm, every 2mm	$5,150.00

Smith & Nephew Surgical Pty Ltd

SN742	Birmingham Hip Resurfacing Prostheses - Acetabular Cup	Cobal Chrome, beaded, HA	44 - 66 mm cups	$5,150.00	$6,180.00

Stryker Australia Pty Ltd

SR044	Mitch Hip System	Titanium, plasma spray, HA	44mm - 66mm	$5,150.00

SR070	Mitch Hip System - Dysplasia Cup	Dysplasia Cup	44mm-68mm	$7,000.00

sufffix F - (Flange)

Advanced Surgical Technologies

AD321	Quadra-Fix Acetabular Shell	Dysplasia Cup, Porous Coated, HA	O.D. 44mm - 66mm	$7,000.00

Flange Suffix

Global Orthopaedic Technology

GO050	ICON Dysplasia Resurfacing Acetabular Cup	CoCr, beaded, HA coating, with fins, resurfacing, metal on 	46-66mm	$7,000.00

metal, with flange

Smith & Nephew Surgical Pty Ltd

SN744	Birmingham Hip Resurfacing Dysplasia Cup	Cobal Chrome, beaded, HA with screw fixation	Dysplasia Cups:  46 - 66 mm cups	$7,000.00	$7,995.00

suffix - F (Flange)

Finsbury Orthopaedics Australia Pty Ltd

FI014	Adept MoM Acetabular Component - Extra Fixation Cup	Porocast beaded Shell , Co Cr, HA coated, dysplasia 	46-66mm Outer diameter going up in 4mm 	$7,000.00

flange 	increments

Prostheses List by Category, Groups and Sponsor	Page 562 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Suffix F - Flange

Johnson & Johnson Medical Pty Ltd

JJ651	ASR PLUS Cup - ASR Hip System	Acetabular Cup	42-70mm	$7,000.00

Group 24c - Resurfacing, ceramic

ESKA Australia

EK056	BS Acetabular Resurfacing Ceramic Insert	Ceramic, (Alumina & Polyurethane), for resurfacing heads	38-58mm	$2,600.00

Hip D - Acetabular Reconstruction Devices

Group 25 - Acetabular Reconstruction Shells

Advanced Surgical Technologies

AD262	Procotyl-E cup	acetabular reconstruction shell titanium alloy	52mm - 76mm, in 2mm increments	$5,096.00

B Braun Australia Pty Ltd

BB247	Reconstruction Shell	Isotan	52-64mm, left and right	$2,912.00

Biomet Australia Pty Ltd

BI142	Mars Acetabular System	Acetabular Shell, Titanium 	Sizes 48 to 60mm	$2,912.00

BI704	Par 5 Protrusio Acetabular System	Acetabular reconstruction Shells - Titanium Metal, no HA	56 - 72mm	$6,380.00

BI836	Par 5 Protrusio Acetabular System	Acetabular reconstruction Shell CrCo, Ti, HA Coated	56 - 72mm	$6,760.00

BI914	Batcup	Revision Acetabular Cup including locking ring and lugs	21 to 24mm	$4,680.00

Corin Australia Pty Ltd

CR160	Saturne reconstruction cup	Dual coated, mobile, cementless reconstruction cup	Sizes: 50 - 66mm	$4,295.00

ESKA Australia

EK027	Cranial Acetabular Reconstruction Shells	CoCr, Titanium, 3 dimensional, non HA, various locking & 	52mm - 72mm Left and Right	$3,877.00

flanges from eccentric to small & large proximal flanges

Prostheses List by Category, Groups and Sponsor	Page 563 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP945	Octopus Acetabular Reconstruction Shell	Titanium, grit blast, HA coating, rimmed, used in 	Size 50, 55mm	$1,426.00

conjunction with Octopus Outer Reconstruction Ring

(DP948)

Lima Orthopaedics Australia Pty Ltd

LC022	Lima reconstruction shell	Acetabular reconstruction shell	50 - 66mm	$5,150.00

LC025	Lima Bilobo Hemisphere bone revision shell	Acetabular reconstruction shell	50 - 58mm	$5,720.00	$5,990.00

Link Orthopaedics  Australia

LO013	Link McMinn Acetabular Reconstruction Cup System	Acetabular reconstruction cell	45 - 55 mm	$3,744.00

Orthotech Pty Ltd

OH109	Lima reconstruction shell	Acetabular reconstruction shell	50 - 66mm	$5,150.00

OH112	Lima Bilobo Hemisphere bone revision shell	Acetabular reconstruction shell	50 - 58mm	$5,720.00	$5,990.00

Smith & Nephew Surgical Pty Ltd

SM039	BOFOR Acetabular Reconstruction Shell	Titanium, plasma spray, eccentric design with multiple 	48mm X + 5mm - 70mm X +12mm	$4,295.00

fixation holes

Zimmer Pty Ltd

ZI249	Trabecular Metal Reconstruction Shell	Porous tantalum, reconstruction shell 	22 and 28mm diameter	$3,166.00	$3,300.00

ZI371	Lor Acetabular Cup 	Oblong Revision Shell, cementless - Ti alloy	52/58 to 72/84	$3,952.00

ZI372	Lor Acetabular Cup 	P/E Insert	28, 32	$1,226.00

Group 26 - Acetabular Reconstruction Cages

Advanced Surgical Technologies

AD266	Procotyl-E double plate	titanium alloy	4, 5 and 6 holes left and right sides	$1,040.00

AD268	Procotyl-E L Plates	titanium alloy	One size only for left and right	$1,040.00

Biomet Australia Pty Ltd

BI970	Regenerex Revision Shell	Acetabular support component Porous Ti Alloy	54 to 76mm OD,  44 to 66 ID	$6,830.00

BI982	Mainstream Burch/Schneider Reinforcement Ring	Burch/Schneider Reinforcement Ring Cemented	44/50 Left and Right, 50-56 Left and Right	$1,040.00

BI983	Max-Ti Modular Protrusio Cage	Acetabular Support Component, Porous Ti Alloy	52, 56, 60, 64, 68 and 72mm Left and 52, 	$3,500.00

56, 60, 64, 68 and 72 mm Right

Prostheses List by Category, Groups and Sponsor	Page 564 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM051	Fin II Revision Ring	Titanium with hook & flanges	52 to 72mm	$1,924.00

Johnson & Johnson Medical Pty Ltd

DP948	Octopus Reconstruction Ring	Titanium ring with proximal flanges & distal hook, used in 	Size 50-55mm	$889.00

conjunction with Acetabular Reconstruction shell (DP945)

DY064	Protrusio Acetabular Reconstruction Cage	Titanium, grit blast, proximal distal flange, left & right sided	49-57 ID and 52-60 OD	$889.00

DY169	Ultima Acetabular Reconstruction Ring	Titanium, acetabular reconstruction cage with proximal rim	40 - 70mm	$1,301.00

Lifehealthcare Pty Ltd

LH175	B2C Espace Acetabular Cup	Acetabular cage	Espace Shell 0 degrees peak - diam 50mm, 	$6,240.00

54mm, 58mm, 62mm with plastic insert,

Espace Shell 20 degrees peak - diam 50mm,

54mm, 58mm, 62mm with plastic insert,

Espace Shell 8mm extension - diam 50mm,

54mm, 58mm, 62mm with plastic insert,

Espace Shell 14mm extension - diam 50mm,

54mm, 58mm, 62mm with plastic insert,

Espace Shell 20mm extension - diam 50mm,

54mm, 58mm, 62mm with plastic insert,

Lima Orthopaedics Australia Pty Ltd

LC021	Lima acetabular plate 	Acetabular reconstruction cage 	50, 54, 58, 62, 64mm	$2,288.00	$2,395.00

Link Orthopaedics  Australia

LO028	LINK Partial Pelvis Replacement	Acetabular reconstruction cage	48-67mm	$3,848.00

LO029	LINK Partial Pelvis Replacement	Acetabular reconstruction cage with inferior flange	48-67mm	$4,056.00

Mathys Orthopaedics Pty Ltd

MA024	CCE Acetabular Reinforcing Ring	Titanium, grit blast, acetabular reconstruction cage with 	Dia 42 - 58mm	$1,040.00

proximal rim

Orthotech Pty Ltd

OH108	Lima acetabular plate 	Acetabular reconstruction cage 	50, 54, 58, 62, 64mm	$2,288.00	$2,395.00

OH291	JRI Reconstruction Ring 	Acetabular reconstruction cage 	44mm, 47mm, 50mm, 54mm	$1,085.00	$1,700.00

Prostheses List by Category, Groups and Sponsor	Page 565 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN265	Contour	Acetabular  Reinforcement cage	44 - 74mm OD	$1,426.00

Stryker Australia Pty Ltd

HW064	Kerboull -  Vitallium	Petrusio cage	44, 48, 52, 56, 60mm OD	$1,153.00

ST547	Restoration acetabular gap ring 	Acetabular reconstruction cage  	48-72mm OD in 2mm increments	$3,432.00

ST557	Restoration  gap cup II acetabular cage	Acetabular reconstruction cage with extended plates 	48-72mm OD in 2mm increments 	$3,952.00

Zimmer Pty Ltd

ZI001	Zimmer Acetabular roof ring	Acetabular reconstruction cage 	46 - 60mm	$1,085.00

ZI002	Zimmer Acetabular Reconstruction Cage 	Acetabular Reconstruction Cage - Left, right	52, 58, 64mm OD	$1,085.00

ZI390	Acetabular Reinforcement	Roof Ring - Ti alloy	44 to 58mm	$1,085.00

ZI391	Acetabular Reinforcement	Roof Ring with Hook - Ti alloy	36/23 to 64/23mm	$1,085.00

ZI392	Acetabular Reinforcement	Protrusio Cage - Ti alloy	44 to 50mm (left and right)	$1,085.00

ZI540	Trabecular metal acetabular revision system modular 	Modular cup-cage titanium alloy	56-80 Long & short flanged left & right	$6,830.00

cup-cage

Group 27 - Acetabular Reconstruction Saddles

Link Orthopaedics  Australia

LO009	LINK Endo - model Saddle Prosthesis	Saddle Component	One size only	$4,976.00

LO010	LINK Endo - Model Saddle Prosthesis	Saddle Base Component	Sizes 1-7	$3,909.00

Hip E - Special Needs Group

Group 28 - Other, Products Known as Custom Devices

Biomet Australia Pty Ltd

BI889	Orthopaedic Salvage System	Proximal Femoral Component, Letson or Finn, Anatomic, 	7cm Left or Right	$6,552.00

Ti

Group 29 - Special Purpose Tumour Products

Advanced Surgical Technologies

AD338	Guardian Limb Salvage System	Guardian Femoral Neck	One Size Only	$2,959.00

Prostheses List by Category, Groups and Sponsor	Page 566 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Corin Australia Pty Ltd

CR123	METS Smooth Trochanter	Titanium, uncoated	small and standard	$5,150.00

CR124	METS Spiked Trochanter	Titanium, HA coated	Small and Standard	$8,000.00

CR128	METS Total Femoral Link Component	Curved titanium link shaft	165mm, 225mm	$4,279.00

CR129	METS Principal Shaft	Titanium shaft	45mm-150mm	$4,279.00

CR139	METS stippled Integral Shaft and Stem	Titanium, HA coated, shaft and stem with round or oval 	L=15,30mm; D=27,30mm (round); 	$7,833.00

collar	D=30x38,36x44mm (oval)

CR147	METS Smooth Integral Shaft & Stem	Titanium, uncoated, shaft and stem with round or oval collar	L=15,30mm D=27,,30mm (round) D=30x38,	$6,433.00

36x44 (oval)

ESKA Australia

EK016	ESKA Tumor Revision System MML	Proximal femoral implant	various sizes	$11,225.00

Lima Orthopaedics Australia Pty Ltd

LC002	Lima RPS Femoral System	Modular Spacer	60 - 120mm	$3,640.00

Smith & Nephew Surgical Pty Ltd

SN693	Hip Component	Femoral or acetabular custom component	Size 0 - 20	$6,396.00

Stryker Australia Pty Ltd

SK158	Howmedica Modular Resection System	GMRS Proximal Femoral Component, Cast Chrome 	Standard, Trochanteric, Smooth	$8,466.00

Cobalt

Hip F - Accessory

Biomet Australia Pty Ltd

BI953	Stage One Hip Mold	Spacer mold, stainless steel, silicon.	9 - 17mm x 43 - 64 Head	$1,500.00

Energy Orthopaedics Pty Ltd

EO005	MRP-TITAN Screws	Locking screw	Short and long	$200.00

Finsbury Orthopaedics Australia Pty Ltd

FI035	Delta Modular Head - sleeve	 sleeve for use with Delta Modular Head	neck  length sleeve -3.5, 0. +3.5, +7	$260.00

Global Orthopaedic Technology

GO166	Global Distal Centraliser	PMMA, 	Various	$158.00	$242.00

GO167	R120 Distal Centraliser	PMMA, 	Various	$158.00	$242.00

Prostheses List by Category, Groups and Sponsor	Page 567 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN850	Birmingham Hip	Modular Resurfacing Head Sleeve	-8mm to +16mm	$520.00

Zimmer Pty Ltd

ZI271	Trabecular Metal acetabular Medial wall augment	Tantalum disc	26mm, 32mm and 38mm	$1,352.00	$1,400.00

ZI276	Trabecular Metal Acetabular Augment	Tantalum acetabular augment	40 - 70mm x 10, 15, 20 &30mm	$4,264.00	$4,455.00

Subgroup 30aa (augment)

Biomet Australia Pty Ltd

BI960	Regenerex revision cup	acetabular augment, Porous Ti Alloy	48 to 58mm, small medium or large version	$3,833.00

Group 30a - Bolt

Biomet Australia Pty Ltd

BI122	Mallory Head Hip System	Trochanter Bolt, Titanium	Round/Oblong	$400.00	$505.00

Global Orthopaedic Technology

GO168	Iso-Elastic™ Cerclage System	Iso-Elastic™ Cerclage Cable Assembly	One Size Only	$2,500.00

Link Orthopaedics  Australia

LO024	Link MP Reconstruction Hip  Prosthesis	Locking bolt 	38 & 58 mm	$400.00

Group 30aa - Augment

Biomet Australia Pty Ltd

BI984	Max-Ti Modular Protrusio Cage	Acetabular Augment, Porous Ti Alloy	Dome Augment (1 Hole Large, 2 Hole Large, 	$1,352.00	$3,500.00

1 Hole Small), illiac flange Augment (6 mm)

Johnson & Johnson Medical Pty Ltd

DP173	PLAD Acetabular Rim Augment	Metal & polyethylene curved plate for screw attachment to 	22- 28mm	$718.00

UHMWPE cemented cups. Includes 4 screws.

Group 30c - Centraliser

B Braun Australia Pty Ltd

BB245	Distal centraliser	PMMA	7mm - 18mm	$158.00

Prostheses List by Category, Groups and Sponsor	Page 568 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB276	Excia Hip System	Distal Centraliser, PMMA	8mm-18mm	$158.00

Biomet Australia Pty Ltd

BI131	Mallory Head Hip System	Femoral Centraliser, UHMWPE	9-17mm	$158.00	$160.00

Corin Australia Pty Ltd

CR044	Taperfit Stem Centraliser	PMMA Centraliser	Small & Standard	$158.00

Global Manufacturing Technology Pty Ltd

GM141	Edinburgh Femoral Stem Distal Centraliser	PMMA - Distal Centraliser	35 x 10mm	$158.00	$242.00

GM142	Edinburgh Femoral Stem Distal Centraliser	PMMA - Distal Centraliser	25 x 10mm	$158.00	$242.00

Johnson & Johnson Medical Pty Ltd

DP297	Universal Femoral Stem Distal Centraliser	PMMA Distal Centralisers includes Charnley, Elite Plus, C-	10-20mm	$158.00

Stem and Summit centralisers

DP584	PLA Centraliser	Poly Lactic Acid+D108 Centraliser	9-20mm	$158.00

JJ584	Femoral Prep Kit	Femoral Preparation Kit	One size only	$225.00

Mathys Orthopaedics Pty Ltd

MA026	Distal Centraliser	For fullfix stem - PMMA	Dia 8.0/9.5mm - 15/12mm	$158.00

Medacta Australia Pty Ltd

MU002	CONE Femoral Stem Distal centraliser	PMMA	10mm to 18mm	$158.00

Smith & Nephew Surgical Pty Ltd

SN264	Buck	IM Prep Kit	One size only	$225.00

SN269	CPCS	Polished Cemented Stem Distal Centraliser	8 - 18	$158.00

SN359	Invis	Distal Centraliser PMMA	7 - 21mm	$171.00

Stryker Australia Pty Ltd

HW001	Hardinge Cement Restrictor	PMMA	6,9 and 12 Leaf	$125.00

HW034	Definition PM Femoral Component	Distal Centraliser -  PMMA -  Ring Centraliser	11-22mm	$158.00

HW057	RELIANCE HIP	Distal Centraliser -  PMMA	10-18mm	$158.00

SK315	Exeter Hip System	Exeter Distal Centraliser -PMMA	One Size Only	$158.00

ST581	Osteonics hip prostheses	Distal spacer  PMMA	8-15mm	$158.00

Zimmer Pty Ltd

ZI013	Zimmer distal centralisers CPT, VerSys, Natural and 	 PMMA Centraliser  	Size 1	$158.00

MS30

Prostheses List by Category, Groups and Sponsor	Page 569 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI020	Zimmer VerSys 	Proximal Centraliser - PMMA	11 - 17	$158.00

ZI021	Zimmer Hip Systems Femoral Stem	VerSys Distal Centraliser - PMMA	10 - 18	$158.00

ZI328	Coonrad/Morrey Elbow Cement Restrictor	PMMA/Plastic	Extra Small, Small, Regular	$318.00

ZI356	Medullary Plug, MS 30	Centring Plug, cement restrictor, hip - PE	1 to 7	$145.00

ZI366	Natural Hip System	Distal Centraliser - PE	10 to 19	$158.00

ZI374	MS-30 Hip prosthesis 	Centralizer for Cemented Stems (Protek) - metal alloys	8 to 18	$158.00

PMMA

Smith & Nephew Surgical Pty Ltd

SN263	Buck	Cement Restrictor 	18.5 - 35mm	$120.00

Group 30e - Claw

Biomet Australia Pty Ltd

BI124	Modular Calcar Mallory Head Revision Hip System	Trochanteric Claw, Titanium	Medium, Large 	$460.00

Group 30f - Connector

Biomet Australia Pty Ltd

BI125	Modular Calcar Mallory Head Revision Hip System	Trochanteric Connector	Sizes 40-70mm	$570.00

Group 30g - Dome Plug

Advanced Surgical Technologies

AD118	Transcend/Lineage Articulation System	Apical dome plug titanium	One size only	$160.00

Johnson & Johnson Medical Pty Ltd

DY077	Apex Hole eliminator 	Hole eliminator screw Titanium	One size only	$160.00

Smith & Nephew Surgical Pty Ltd

SN294	Reflection	Tapered hole cover (Reflection Interfit)	One size only	$160.00

SN295	Reflection	Threaded hole cover (Reflection)	One size only	$160.00

Stryker Australia Pty Ltd

ST551	Osteonics Hip Prostheses	Dome hole plug titanium	One size only	$160.00

Prostheses List by Category, Groups and Sponsor	Page 570 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI622	Continuum Acetabular System	Screw Hole Plugs	Screw Hole Pack - Three Pack	$160.00

Group 30h - Mesh

Johnson & Johnson Medical Pty Ltd

DP223	Thackray Mesh	Stainless Steel Ortron 90 mesh	200x200mm	$144.00

Stryker Australia Pty Ltd

HW044	Exeter Hip System	X-Change Revision Mesh - Stainless Steel	Acetabular, Femoral and Flat Mesh	$889.00

HW045	Exeter Hip System	X-Change Revision Mesh -Rim -  Stainless Steel	Small	$886.00

HW046	Exeter Hip System	X-Change Revision Mesh - Rim -  Stainless Steel	Large	$855.00

HW048	Trochanteric Mesh	Stainless Steel	Small/Large	$510.00

Zimmer Pty Ltd

ZI329	CPT Impaction Grafting Mesh	Titanium Femoral or acetabular mesh	6 sizes acetabular rim (small and large), medial	$3,367.00

wall (small and large), flat and femoral meshes

Group 30i - Head Taper Insert

Biomet Australia Pty Ltd

BI876	Endo II Head	Modular Head Taper Insert - CoCr	-6mm to +6mm	$520.00	Taper insert for BI875

BI895	M2A Magnum Prosthesis	Taper Insert, Cobalt chrome	42 - 50mm, -6, -3, STD, +3, +6, +9; 52 - 	$520.00	Taper insert for BI896

60mm, -6, -3, STD,

3, +6, +9

Johnson & Johnson Medical Pty Ltd

DY329	ASR Taper Adaptor	Titanium taper adaptor for use with ASR Modular head 	9/10 or 11/13 or 12/14 taper	$520.00	Taper insert for DY330

(DY330)

DY403	Cathcart Taper Insert	CoCr head taper insert for use with Unipolar Head 	-3 to +10mm	$520.00

(DY402)

Smith & Nephew Surgical Pty Ltd

SM166	Revision Delta Ceramic Femoral Head Sleeve	Biolox Option Sleeve	≤32mm	$260.00	To be used with Billing Code PL118

SM168	Revision Delta Ceramic Femoral Head Sleeve	Biolox Option Sleeve	>32mm	$260.00	To be used with Billing Code PL118

Prostheses List by Category, Groups and Sponsor	Page 571 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN307	Unipolar	Taper Sleeve Co Cr	12/14 and 14/16 tapers, +0,-3,+4,+8,+12mm.	$520.00	Taper insert for SN308

Stryker Australia Pty Ltd

ST569	Head Taper Insert	Neck extention, vitallium alloy	-4 TO +12mm	$520.00

E

Johnson & Johnson Medical Pty Ltd

JJ575	ASR XLAnatomic Eccentric Taper Insert	Titanium, eccentric, taper insert	-3.5 to +15.5	$620.00

Group 30j - Neck Adapter

Corin Australia Pty Ltd

CR098	Taper Adaptor Sleeve	Adaptor sleeve to adjust taper from 10-12 to 12-	2 Sizes	$520.00

14,Titanium, for Ceramic Heads

Global Manufacturing Technology Pty Ltd

GM042	BioBall - Revision Neck Adaptor	Titanium, varying tapers & lengths, for ceramic & metal 	12/14 standard, 12/14 offset, 14/16 	$520.00	$3,328.00

heads	standard.small to 5 XL , M to 5 XL, M to 5

XL for each

GM107	APEX Global Neck Adaptor	Titanium neck adaptor for variable tapers, used in revision 	variable tapers	$520.00	$3,000.00

with ceramic head

Stryker Australia Pty Ltd

SK482	Stryker Neck Taper Adaptor	Adaptor Sleeve for Stryker stems	-5, -4, 0, +4, +5, +8 +10, +12, +15, +16mm	$520.00

offset

Zimmer Pty Ltd

ZI567	Zimmer Hip System	VerSys Endo Adaptors	+7.0mm; +10.5mm; +14.0mm	$520.00

Group 30k - Nut

Global Orthopaedic Technology

GO019	UniSyn Hip Connecting Nut	Titanium, locking nut, supplied seperately	short & long	$204.00

Group 30l - Plate

Advanced Surgical Technologies

AD264	Procotyl-E T Plate	titanium alloy plates	One size only for left and right	$1,040.00

AD267	Procotyl-E hooks	titanium alloy hook	18mm, 23mm, 28mm	$811.00

Prostheses List by Category, Groups and Sponsor	Page 572 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Biomet Australia Pty Ltd

BI123	Mallory Head Hip System	Trochanter Plate, Titanium  	Sizes 40-70	$460.00

BI700	Par 5 Protrusio Acetabular System	Obturator Hook or Blade or Flange, Ti	Short, Medium or Long	$1,426.00

Corin Australia Pty Ltd

CR125	METS Trochanter plate	Titanium with plasma spray of titanium and HA	One size	$1,240.00

Link Orthopaedics  Australia

LO030	LINK Partial Pelvis Replacement	Hook for Obturator Foramen Width 	6-12mm	$678.00

Group 30m - Plug

Advanced Surgical Technologies

AD131	WMT Perfecta Hip System	PMMA cement Plug	9 - 21mm in 1mm increments	$160.00

B Braun Australia Pty Ltd

BB277	Excia Hip System	Cement plug	8mm-18mm	$160.00

Biomet Australia Pty Ltd

BI130	Bio-Plug Cement Restrictor	Canal Plug, UHMWPE	"7-20mm"	$160.00

BI144	Bio-Plug Cement Restrictor	Compression plug, PMMA	Sizes 8-25mm	$160.00	$200.00

Corin Australia Pty Ltd

CR027	Freeman Canal occluder	Cement plug, UHMWPE	12,14,16mm diameter	$160.00

CR041	Hardinge Canal Occluder	Cement plug, UHMWPE	One size only	$160.00

Global Orthopaedic Technology

GO165	Global Cement Restrictor	PMMA, 	Various	$160.00	$242.00

Johnson & Johnson Medical Pty Ltd

DP233	Hardinge Cement Restrictor	Hardinge cement Restrictor (ea)	One size only	$160.00

DP448	BIO Stop G	Biostop Restrictor (Gelatin, Glkycerol, PHBM, Water)	size 8-20	$160.00

DP575	C-Stem End Cap	End Cap Biostop Restrictor (Gelatin, Glycerol, PHBM, 	Size 8- 20 	$160.00

water)

DP998	DePuy Acetabular Apical Plugs	Titanium, apical hole plug for Duraloc, Pinnacle & SROM 	One size only	$160.00

Acetabular shells

JJ753	Hardinge Cement Restrictor	UHMWPE cement restrictor	One size only	$160.00

JJ754	DePuy Femoral Cement Restrictor	UHMWPE cement restrictor	Size 0 to 10	$160.00

Prostheses List by Category, Groups and Sponsor	Page 573 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA018	Intramedullary Plug	Cement Restricter	Small to Extra Large	$160.00

Medacta Australia Pty Ltd

MU017	Versafitcup Acetabular Apical Plug	Titanium Plug	.	$160.00

Stryker Australia Pty Ltd

ST582	Osteonics hip prostheses 	Cement restrictor Polyethylene	Universal and sizes 1-8	$160.00

Group 30n - Plug & Hood

Lima Orthopaedics Australia Pty Ltd

LC006	Lima Plug and hood 	UHMWPE Cement Plug with distal femoral stem hood	8mm - 16mm	$290.00

Group 30o - Ring

Advanced Surgical Design & Manufacture Ltd

AE110	FMP Acetabular System - Constrained Liner Locking 	28mm constrained liner locking ring, manufactured from 	one size, to fit all 28mm ID constrained liners	$200.00

Ring	titanium, is used with the FMP constrained acetabular liners.

Biomet Australia Pty Ltd

BI140	Mallory Head Hip System	Acetabular Shell, Ringloc.  Replacement Ring, Titanium alloy	Size 1	$171.00

Johnson & Johnson Medical Pty Ltd

DP250	Duraloc Cup Locking System	Titanium locking Ring for Duraloc insert, seperately listed, 	Size 36-76mm	$171.00

only for revision

Smith & Nephew Surgical Pty Ltd

SN701	Reflection	Constrained acetabular liner - adaptor ring	42 - 76mm	$171.00

Zimmer Pty Ltd

ZI473	APR Conversion Ring	Titanium ring	39 to 71	$924.00

Group 30p - Screw

Biomet Australia Pty Ltd

BI098	Kent Hip System	Transverse Screws, Titanium	4.5mm x (26-55mm)	$200.00	$480.00

Prostheses List by Category, Groups and Sponsor	Page 574 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Corin Australia Pty Ltd

CR033	Cormet Dysplasia Cup Screw	Dual threaded locking screw	Lengths 25 - 70mm	$200.00

Global Manufacturing Technology Pty Ltd

GM053	SMR Locking Screw	Locking Screw for Proximal Body to Stem	40 to 70mm	$200.00

Global Orthopaedic Technology

GO175	interface acetabular system	6.5mm cancellous bone screws	15mm to 70mm	$200.00	$225.00

Johnson & Johnson Medical Pty Ltd

DY020	SROM Trochanteric Washer Screw	Titanium, attaches washer to calcar replacement stem	42mm, 52mm, 62mm	$200.00

Link Orthopaedics  Australia

LO011	LINK Endo - Model Saddle Prosthesis	Saddle Set Screw for Base Component	One size only	$200.00

LO031	LINK Endo-Model Partial Pelvis Replacement	Fixation Screws, for Obturator Foramen, including screw 	20mm - 35mm; four (4) sizes	$200.00

lock

Group 30q - Screw - Bone

Advanced Surgical Design & Manufacture Ltd

AE051	ASDM Bone screw	Titanium	Dia 5 - 11 mm, length 20 - 50mm	$140.00

AE107	FMP Acetabular System - Bone screws	6.5mm Cancellous bone screws for use with FMP 	6.5mm diameter cancellous threaded screws 	$140.00

Acetabular shells	from 15mm to 50mm lengths in 5mm

increments

Advanced Surgical Technologies

AD120	Transcend/Lineage Articulation System	Bone screw titanium	6.5mm x 1.5 - 6cm in 0.5cm increments long	$140.00	$235.00

AD265	Procotyl-E screws	titanium alloy	Diameter 5.5mm, Length 15 - 60mm	$140.00	$235.00

AD322	Quadra-Fix Acetabular Shell 	Quadra-Fix Double threaded, 6.5mm Cancellous bone 	35mm - 80mm in 5mm increments	$140.00	$380.00

Screw

Austofix

AX050	Hyperion Captiv Bone Screw	Titanium, cancellous self tapping bone screw	6mm, 20 to 45 mm lengths	$140.00

B Braun Australia Pty Ltd

BB238	Acetabular Fixation Screws	Isotan	16mm-68mm	$140.00	$235.00

Prostheses List by Category, Groups and Sponsor	Page 575 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Biomet Australia Pty Ltd

BI109	Mallory Head Hip System	Screw, Acetabular	(6.5 - 5.5)mm dia x (15 - 70)mm length	$140.00	$235.00

BI702	Par 5 Protrusio Acetabular System	Screws - Titanium Metal	6.5mm	$140.00	$235.00

Corin Australia Pty Ltd

CR116	Extreme Hip System Femoral Shaft Locking Screw	Titanium distal femoral locking screw	6.2mm diameter, 13 lengths in 5mm increments	$140.00

CR121	Horizon Acetabular Fixation Screw	Titanium countersunk cancellous screw	Diam 6.5mm, lenghts 16 - 55 mm	$140.00

Energy Orthopaedics Pty Ltd

EO013	Atlas Acetabular Cup System	Screw	Atlas Screw Dia 6.5mm 15-50mm L	$140.00

ESKA Australia

EK052	ESKA Acetabular Screw	Titanium, cancellous screw	15mm - 90mm	$140.00

Exactech Australia

EX006	Novation Crown Cup Screws	Titanium cortical bone screws	Full radius tip: 6.5mm x 15mm, 6.5mm x 	$140.00

20mm, 6.5mm x 25mm, 6.5mm x 30mm,

6.5mm x 35mm, 6.5mm x 40mm, 6.5mm x

45mm, 6.5mm x 50mm, 6.5mm x 55mm,

6.5mm x 60mm, 6.5mm x 70mm; Peripheral

Rim screw: 4.5mm x 25mm, 4.5mm x 30mm,

4.5mm x 35mm, 4.5mm x 40mm, 4.5mm x

45mm, 4.5mm x 50mm, 4.5mm x 55mm,

4.5mm x 60mm, 4.5mm x 65mm, 4.5mm x

70mm; Pointed tip: MBA 6.5mm x 15mm,

MBA 6.5mm x 20mm, MBA 6.5mm x 25mm,

MBA 6.5mm x 30mm, MBA 6.5mm x

35mm, MBA 6.5mm x 40mm, MBA 6.5mm x

45mm, MBA 6.5mm x 50mm, MBA 6.5mm

x 55mm, MBA 6.5mm x 60mm

Finsbury Orthopaedics Australia Pty Ltd

FI047	Adler Bone Screw	Bone Screw for Acetabular Cup	6.5mm Diameter. 20-50mm	$140.00	$235.00

Global Manufacturing Technology Pty Ltd

GM058	Fin II Acetabular Screw	Titanium, '6.5mm Cancellous Bone Screws	15 - 80mm	$140.00	$235.00

Prostheses List by Category, Groups and Sponsor	Page 576 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GM059	SMR Distal Locking Screw	Titanium, '4.5mm Cortical Bone Screws	20 to 80mm	$140.00	$235.00

GM116	Global Acetabular Cancellous Screw	Titanium 6.5mm cancellous bone screw	20mm to 50mm	$140.00	$200.00

Global Orthopaedic Technology

GO133	FMP Acetabular Screws	Titanium, cancellous screws	25mm to 50mm	$140.00	$200.00

GO147	Keramos Acetabular Screws	Titanium, cancellous screws	25mm to 50mm	$140.00	$200.00

Johnson & Johnson Medical Pty Ltd

DP944	DePuy Acetabular Bone Screws	Titanium, cancellous screws 	5.5 & 6.5mm Diameter length 15-80mm	$140.00

JJ704	Gyros Hip System	Stainless steel screws for Gyros acetabular cup with flanges	20 - 65mm	$140.00

Lifehealthcare Pty Ltd

LH062	Groupe Lepine	Acetabular Screws	5.5mm dia in 15mm-60mm length 5mm 	$140.00

increments

Lima Orthopaedics Australia Pty Ltd

LC024	Lima Bone Screw	Titanium  Bone Screw	20 - 60mm	$140.00	$235.00

Mathys Orthopaedics Pty Ltd

MA032	CCE Acetabular Reinforcing Ring Screws	Titanium, cancellous screws                   	varying lengths 	$140.00

MA420	SeleXys Acetabular Screws	Titanium, cancellous screws                   	varying lengths & diameters	$140.00

MA471	RM Acetabular Dowel Screws	Titanium, cancellous screws                   	varying lengths	$140.00

Medacta Australia Pty Ltd

MU014	Versafitcup Acetabular Screws	Titanium, cancellous screws	6.5 L 25-30-35-40-45mm	$140.00

Orthotech Pty Ltd

OH111	Lima Bone Screw	Titanium  Bone Screw	20 - 60mm	$140.00	$235.00

OH289	JRI CSF Hip System	CSF Bone Screws, Titanium Alloy	15mm - 50mm	$140.00	$240.00

Portland Orthopaedics (Aust) Pty Ltd

PD020	Equator Plus Acetabular Shell Screw	Bone Screw	6.5mm diameter, 15mm to 50mm lengths	$140.00

Smith & Nephew Surgical Pty Ltd

SM041	Universal Cancellous Bone Screws	Cancellous bone screw titanium	15-60mm long 6.4mm dia	$140.00	$242.00

SM137	Polar Cup Acetabular Screws	Stainless Steel Cortical Screws 	4.5mm by 40-60mm	$140.00	$242.00

Prostheses List by Category, Groups and Sponsor	Page 577 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

HW011	ABG Hip System	Bone screw - Titanium, used with ABG11 Cups	12,15,20,25,30,35,40,45 and 50mm lengths	$140.00

HW047	Exeter Hip System	X-Change Bone Screws -  Stainless Steel	3.5mm X 10, 15, 20, 25, 30, 35mm	$140.00

Zimmer Pty Ltd

ZI036	Acetabular Cup	Trilogy Bone Screw - Titanium	15 - 60	$140.00	$245.00

R

Corin Australia Pty Ltd

CR126	METS Trochanter Screw	Titanium	Short, Medium, Long	$140.00

Group 30r - Sleeve

Advanced Surgical Design & Manufacture Ltd

AE125	Foundation Unipolar System - CoCr Unipolar Sleeves	Unipolar sleeves are used in conjunction with Unipolar 	-3.5mm,+0mm (neutral), +3.5mm, +7mm & 	$260.00

CoCr Femoral Heads to provide -3.5mm, +0mm, 	+10mm

+3.5mm, +7.0mm & +10mm neck length options when

used in conjunction with a femoral hip component in hemi-

arthroplasty operations.

Exactech Australia

EX010	L-Series Taper Sleeve for Unipolar Head	The L-series unipolar is a modular endoprosthesis 	taper sleeve: 12/14 -3.5mm, 12/14 +0mm, 	$260.00	From original Application 261 then split into

consisting of a truncated spherical head and interchangeable	12/14 +3.5mm, 12/14 +7mm, 12/14 +10mm	two.

neck sleeves.  The device is fully machined from cobalt

chrome conforming to ASTM F1537-94.

Smith & Nephew Surgical Pty Ltd

SN361	ITH	Trunnion Sleeve	One size only	$260.00

SN365	Matrix: Modular Hip System	Sleeve -Trunnion	One size only	$260.00

Stryker Australia Pty Ltd

ST821	Titanium Adapter Sleeve	For use with new ceramic heads	One size only	$260.00

Zimmer Pty Ltd

ZI474	Durom Hip Resurfacing System - Adaptor Sleeves	Forged CoCr allo	A1 to L1	$520.00

Prostheses List by Category, Groups and Sponsor	Page 578 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Sv

Energy Orthopaedics Pty Ltd

EO048	Pharo	Intermediate Sleeve	-5 to +10 (six sizes)	$260.00

Group 30s - Spacer - Unique

Lima Orthopaedics Australia Pty Ltd

LC023	Lima Total Hip Replacement System	Spacer	S-M-L	$1,560.00	$1,750.00

Orthotech Pty Ltd

OH110	Lima Total Hip Replacement System	Spacer	S-M-L	$1,560.00	$1,750.00

Zimmer Pty Ltd

ZI311	Spacer-G	Temporary implantable device for the treatment of infected 	Short Stems,  Head size 46mm, 54mm, 60mm	$2,025.00

total hip replacement, Composition - stainless steel core

surrounded by PMMA impregnated with Gentamicin

ZI312	Spacer-G	Temporary implantable device for the treatment of infected 	Long Stems, Head size 46mm, 54mm, 60mm	$2,530.00

total hip replacement, Composition - stainless steel core

surrounded by PMMA impregnated with Gentamicin

Group 30t - Spike - Actebular

Smith & Nephew Surgical Pty Ltd

SM136	Polar Cup Acetabular Pegs	Stainless steel, morse tapered anchorage pegs	15mm	$87.00

Stryker Australia Pty Ltd

HW012	ABG Hip System	Spikes - Titanium, used with ABG11 Cups	7mm, 8mm, 9mm lengths	$87.00

Group 30v - Trochanteric Replacement

Energy Orthopaedics Pty Ltd

EO045	MRP-TITAN Stem	Trochanteric replacement 	Small and Large	$1,000.00

Johnson & Johnson Medical Pty Ltd

DP001	Reef Femoral Wing 	Titanium grit blasted with HA trochanteric 	Sizes 1-3	$1,000.00

replacement/augment

Prostheses List by Category, Groups and Sponsor	Page 579 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 30w - Washer

Johnson & Johnson Medical Pty Ltd

DP986	SROM Trochanteric Washer	Titanium, fixation with separate screw (DY020) to calcar 	40 x 31, 60 x 45, 70 x 54	$577.00

replacing SROM Femoral Stem

Group 30x - Wire

Corin Australia Pty Ltd

CR127	METS Trochanter Reattachment Wire	CoCr	0.6m	$80.00

Johnson & Johnson Medical Pty Ltd

DP224	Charnley & Wroblewski Trochanteric Spring Wire	Stainless steel wire for trochanteric attachment	0.5-3.00mm	$250.00

Group 30y - Pin

Johnson & Johnson Medical Pty Ltd

DP976	SROM Acetabular Insert Locking Pin	Titanium pin provided seperately from insert	3.5mm - 5.0mm	$161.00

Group 30z - Other

ESKA Australia

EK054	Nail TiNb	Nail TiNb	3 x 30, 40, 50mm length	$600.00

EK055	Profi Peg Nail TiNb	Peg TiNb	6 x 30, 40, 50mm length	$600.00

Lifehealthcare Pty Ltd

LH309	HemiCAP Contoured Articular Resurfacing Hip System	Fixation Component - Titanium	Fixation component for 25mm,30mm, 35mm 	$800.00	$900.00	Used with Billing code TB308

Artuclar Components

Medacta Australia Pty Ltd

MU015	Versafitcup Attachable Proximal Flange	Stainless Steel attachable flange/lug with screw	4.5 L 35-40-45-50-55mm	$500.00

MU016	Versafitcup Attachable Obturator Hook	Stainless Steel Obturator Hook	.	$500.00

Smith & Nephew Surgical Pty Ltd

SN292	Reflection	Fixation peg Titanium Alloy	One size only	$181.00

Prostheses List by Category, Groups and Sponsor	Page 580 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

HW194	Howmedica Modular Resection System	Femoral Joint -  Vitallium	One size only	$3,572.00

Zimmer Pty Ltd

ZI024	Zimmer 'VerSys CRC Hip Systems 	 Modular Calcar Block	One size only	$572.00

Internal, Joint, Shoulder, Humeral Component

Zimmer Pty Ltd

ZI580	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE HUMERAL CUP	Zero degree Retro; Zero degree Retro +6; 	$2,940.00	$3,340.00

+10 degree Retro; –10 degree Retro; +20

degree Retro; -20 degree Retro;9mm 0

degree Retro; 9mm 0 degree Retro +6.

Revision

Tornier Pty Ltd

TO049	Aequalis Reversed Fracture Shoulder - Revision	Monobloc Humeral Stem CoCr and HA coated proximally	Length 170, 180 or 210mm Dia 7 9 11 13mm	$7,750.00

Internal, Joint, Shoulder, Total

Austofix

AX040	VRP Distal Radius Fixation System, Volar Distal Radius 	Volar Distal Radius Plate - Non-standard	Wide, narrow, long sizes	$1,300.00

Plate - Non-standard

AX041	VRP Distal Radius Fixation System Volar Distal Radius 	Volar Distal Radius Plate - Standard	Standard, 3 and 4 hole, left and right	$1,200.00

Plate - Standard

AX042	VRP Distal Radius Fixation System, 3.5mm Cortical 	3.5mm Cortical Screw, Titanium	3.5mm diameter, 10mm-20mm lengths	$67.00

Screw, Titanium

AX043	VRP Distal Radius Fixation System, Threaded, mpm-	Threaded, non-threaded, partially threaded locking, non-	2.0, 2.5, 2.6mm diameter, 14mm-30mm 	$120.00

threaded, partially threaded locking, non-locking screw, 	locking screw, peg, titanium	lengths

peg, Titanium

LMT Surgical Pty Ltd

LM078	Ascension HRA - Humeral Resurfacing Arthroplasty	A anatomic semi constrained, monobody device intended 	40mm x 16mm to 56mm x21mm	$3,200.00

for resurfacing of the humeral head.

Prostheses List by Category, Groups and Sponsor	Page 581 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI562	ANATOMICAL SHOULDER	ANATOMICAL REMOVABLE HEAD	D40 H14; D42 H15; D44 H16; D46 H16; 	$2,330.00	$2,875.00

D48 H17; D50 H18; D52 H19; D48 H20;

D50 H21; D52 H23.

ZI564	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE GLENOID 	36mm; 40mm	$2,300.00

HEAD

ZI565	ANATOMICAL SHOULDER	ANATOMICAL FRACTURE HUMERAL HEAD	40mm Left & Right; 44mm Left & Right; 	$2,330.00	$2,875.00

48mm Left and Right.

ZI575	ANATOMICAL SHOULDER	ANATOMICAL FRACTURE STEM	7-14mm x 130mm; 7mm x 170mm; 9, 11, 	$3,969.00

13mm x 200mm.

ZI577	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE HUMERAL 	36mm x 0, 3 & 6mm; 40mm x 0, 3 & 6mm.	$1,960.00

POLY INLAY

ZI578	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE GLENOID 	One size only.	$2,875.00

FIXATION

ZI579	ANATOMICAL SHOULDER	ANATOMICAL CEMENTED HUMERAL STEM	7 x 100mm; 9 x 110mm; 12 x 110mm; 7 x 	$2,900.00

200mm; 9 x 210mm; 14 x 210mm

ZI581	ANATOMICAL SHOULDER	ANATOMICAL PEGGED GLENOID	Small, Medium and Large	$1,990.00

ZI582	ANATOMICAL SHOULDER	ANATOMICAL PRESS-FIT HUMERAL STEM	7 x 100mm, 9 x 110mm, 10.5 x 110mm, 12 x	$3,500.00	$3,969.00

110mm, 14 x 110mm

Knee - Accessories

Group 13a - Augments- Distal and posterior femoral, tibial, blocks and wedges

Advanced Surgical Design & Manufacture Ltd

AE071	Active Knee Posterior  Block 	Posterior Femoral Block	1 - 5, 4 - 8mm	$1,283.00

AE072	Active Knee  Femoral Distal Spacer	Femoral Distal Block	1 - 5, 4 - 8mm	$1,283.00

AE073	Active Knee Femoral Augments 	Combined Distal and Posterior Block,  CoCr	1-5,  4 - 8mm	$1,283.00

AE074	Active Knee Revision System - Tibial Half Block Spacer	Half Block Wedge	1-5, 5 - 10 Deg	$1,283.00

AE076	Active Knee Tibial Full Block Wedge 	Tibial full block of full wedge, CoCr	1-5,  5 - 10 Deg	$1,283.00

AE077	Active Knee Half Block Wedge	Half Block or Half Wedge, CoCr	1-5,  5 - 10 Deg	$1,283.00

Prostheses List by Category, Groups and Sponsor	Page 582 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Advanced Surgical Technologies

AD142	Advance Revision Knee System augments	Femoral Augments titanium, separate distal and posterior 	1 - 5, 5mm thick, 10mm thick, posterior and 	$675.00

with screw attachment 	distal

AD146	Advance Revision Knee System tibial augments	Tibial augments, wedges and blocks, screw attachment 	15 degree, sizes 1, 2/1+, 3/2+, 4/3+, 5/4+, 	$895.00

6/5+, Blocks 5mm, 10mm, 15mm

AD217	Advance Total Knee System Augments 	Offset tibial block augments, screw fixation for use with 	1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 5mm, 10mm, 	$1,283.00

offset stemmed tibial component 	15mm

B Braun Australia Pty Ltd

BB320	Emotion Total Knee System Tibial and Femoral Augments	Medial/Lateral Tibial, Distal Femoral and Postero-Distal 	4mm to 12mm	$1,283.00	$1,300.00

Augments

Biomet Australia Pty Ltd

BI183	Maxim Complete Knee System Femoral and Tibial 	Tibial and femoral half wedges and half blocks, Titanium	55-80mm	$1,283.00	$1,339.00

Augments

BI789	Ascent Knee System Femoral augments 	Femoral augments, distal and posterior blocks, titanium 	4, 8, 12mm	$1,283.00	$1,470.00

with screw fixation

BI821	AGC Total Knee System Tibial Augments 	Tibial augments, half blocks and wedges, titanium, with 	6-16mm	$1,283.00	$1,350.00

screw fixation

BI890	Rotating Hinge Knee (RHK) Femoral and Tibial 	Femoral and Tibial half wedges and half blocks, CoCr	Femoral; 10, 20, 30mm LL, LM, RL, RM, 	$1,283.00	$2,000.00

Augments 	Tibial; 10, 15mm RM/LL, RL/LM, 20mm

BI952	Vanguard Total Knee System	Femoral Augments, anatomic, distal or posterior, Ti alloy	5-15mm x 55-80mm	$1,283.00	$1,370.00

Corin Australia Pty Ltd

CR004	Rotaglide + Total Knee System Tibial Augments 	Tibial augments, half blocks, CoCr, cement fixation 	Small 4mm - Large12mm	$550.00

CR112	Score Knee System Tibial and Femoral Augments 	Tibial and Femoral half blocks, CoCr, screw fixation used 	31 sizes	$1,283.00

for femoral blocks, tibial blocks cemented

Exactech Australia

EX025	Optetrak Total Knee System Tibial Augments	Tibial Augments for CCK femoral component, half and 	Size 1 - 6	$815.00	$1,500.00

third blocks, titanium, screw fixation

EX026	Optetrak Total Knee System Femoral Augments 	Femoral Augments for CCK femoral component, distal and	Size 1-6	$1,283.00	$1,900.00

posterior blocks, titanium, screw fixation

Prostheses List by Category, Groups and Sponsor	Page 583 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Orthopaedic Technology

GO116	RBK Total Knee System Tibial Augments 	Tibial hemi blocks and wedges, CoCr, Titanium 	4mm and 10mm thick	$1,283.00	$3,000.00

GO118	RBK Total Knee System Femoral Augments 	Distal and posterior femoral blocks, titanium	4mm and 10mm thick	$1,283.00	$1,600.00

Johnson & Johnson Medical Pty Ltd

DP158	PFC Sigma Knee System femoral  augments 	Distal and posterior femoral augments, CoCr , with screws	Sizes  1 - 6.  4-16mm	$1,283.00

DP161	PFC Sigma Knee System tibial augments 	Tibial wedges (full and hemi) and  hemi blocks, CoCr, with 	Size 1-6	$1,283.00

screw

DP269	SROM Noiles Knee System femoral augments 	Distal or posterior and combined distal and posterior 	Sizes xxsmall - xlarge.  5-10mm	$1,283.00

femoral augments

DY153	LCS Complete Knee System Augments 	Femoral distal and posterior augments, CoCr, with screws	Sizes small to large+.  5-15mm	$1,283.00

DY159	MBT Knee System tibial augments 	Tibial blocks, with screws, CoCr 	Sizes 1-7. 5-15mm	$1,283.00

Orthotech Pty Ltd

OH026	Optetrak Total Knee System Tibial Augments	Tibial Augments for CCK femoral component, half and 	Size 1 - 6	$815.00	$1,500.00

third blocks, titanium, screw fixation

OH029	Optetrak Total Knee System Femoral Augments 	Femoral Augments for CCK femoral component, distal and	Size 1-6	$1,283.00	$1,900.00

posterior blocks, titanium, screw fixation

Smith & Nephew Surgical Pty Ltd

SM078	TC (Tri Compartment) PLUS Knee System Tibial 	Tibial Augment Half blocks, CoCr, includes screws for 	5mm, 10mm, 15mm	$1,283.00

Augment	fixation

SM088	RT (Rotating Hinge) PLUS Knee System Femoral 	Femoral Augment Distal and posterior blocks, CoCr, 	5-15mm	$1,283.00

Augment	includes screws for fixation

SM089	RT (Rotating Hinge) PLUS Knee System Tibial Augment	Tibial Augment Half blocks, CoCr, includes screws for 	5-10mm	$1,283.00

fixation

SM098	TC (Tri Compartment) PLUS Knee System Femoral 	Femoral Augment Distal and posterior blocks, CoCr, 	5mm, 10mm, 15mm	$1,283.00

Augment	includes screws for fixation

SN330	Genesis II Knee System Tibial and Femoral Augments	Tibial Augments, half blocks and half wedges, (CoCr) and 	1-8	$1,283.00

Femoral Augments, distal and posterior or distal and

posterior combined

Prostheses List by Category, Groups and Sponsor	Page 584 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN381	Profix Knee System Tibial and Femoral Augment	Tibial Augments, Half wedges and half blocks, uncemented 	1-7. Small - Large 	$675.00

beaded includes screws for fixation, Titanium.  Femoral

Augments, Posterior, Distal and Posterior and distal

combined, uncemented beaded, includes screws for

fixation, Titanium

SN384	Profix Knee System Tibial and Femoral Augment	Tibial Augments, Half wedges and half blocks, cement 	1-7	$925.00

fixation, Titanium.  Femoral Augments, Posterior, Distal and

Posterior and distal combined, includes screws for fixation,

Titanium

SN821	Legion Knee System Femoral Augement	Femoral Augment, posterior, distal and combined posterior	5-15mm	$1,283.00

and distal, Titanium, includes screws for fixation

SN822	Legion Knee System Tibial Augement	Tibial Augments, half blocks and half wedges, full blocks 	5-15mm	$1,283.00

and full wedges, Titanium includes screws for fixation

Stryker Australia Pty Ltd

HW099	Duracon Knee System Tibial Augments 	Tibial Augments Full wedge (angled) & Full block (flat), 	Left & right, full & angled, 5mm & 10mm	$1,283.00

CoCr (Vitallium), cemented

HW153	Kinemax Knee System & Modular Rotating Hinge Distal 	Distal & posterior femoral blocks & spacers, CoCr 	Kinemax: Full, Distal & Posterior Augments: 	$925.00

& Posterior Femoral Augments & Spacers	(Vitallium), cemented	xs-xl; 5mm /10mm         MRH Distal Femoral

Augments xs-xl; 5mm / 10mm

HW168	Kinemax Knee System Full Tibial Augment	Full Tibial Block, CoCr (Vitallium), cemented	xs-xl, 10mm thickness	$815.00

HW169	Kinemax Knee System Hemi Tibial Augment	Half block, CoCr (Vitallium), cemented	 LM/RL & LL/RM xs-xl in 5 & 10mm 	$515.00

thickness

SK441	Triathlon Knee System Femoral Augments	Femoral blocks distal & posterior, CoCr, mechanical 	Left & Right 5mm size 1-810mm size 1-8	$1,283.00	$1,600.00

attachment	15mm size 1-8

SR036	Triathlon Knee System Hemi Augments	Half (hemi) tibial blocks, CoCr, mechanical attachment 	LM/RL & LL/RM, 1 to 8, 5mm and 10mm	$1,283.00

ST018	Scorpio Knee System Femoral & Tibial Augment	Femoral & tibial blocks distal, posterior and full, CoCr, 	5mm & 10mm for all sizes of femur and tibia. 	$1,282.00

cemented	5 degrees for all tibia sizes

ST604	Duracon Knee System Tibial Augments 	Tibial Augments Half (hemi) wedge (angled) & Half (hemi) 	LM/RL & LL/RM in 5mm, 10mm thicknesses	$1,283.00

block (flat), CoCr (Vitallium), cemented

ST658	Series 7000 Knee System Femoral & Tibial Augments	Series 7000, femoral & tibial blocks, CoCr, cemented	3, 5, 7, 9, 11, 13 in 4mm, 8mm, 10 degree 	$740.00

and 20 degree

Prostheses List by Category, Groups and Sponsor	Page 585 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Tornier Pty Ltd

TO022	HLS Noetos Revision Knee augments 	Distal and Posterior Femoral and tibial Wedges and blocks,	1 to 6 Thickness 4, 8 and 12	$1,283.00

CoCr

TO027	HLS Noetos  Revision Tibial Spacers 	Tibial Spacer (including 2 screws) CoCr	1 to 6 thickness 4, 8 and 12mm	$1,283.00

Zimmer Pty Ltd

ZI067	Insall-Burstein II Femoral and Tibial augments 	Femoral posterior, distal and combined blocks, tibial hemi 	5, 10mm	$1,283.00	$1,337.00

blocks and wedges

ZI075	Insall-Burstein II Wedge	Full - Ti	7 - 20mm	$1,283.00	$1,758.00

ZI140	NexGen Tibial Augments	Tibial Augments, wedges, hemi and one third and tibial 	1 - 10	$1,283.00	$1,582.00

blocks hemi, titanium

ZI141	NexGen Tibial Augment	Tibial Augment, Full Wedge, Titanium	1 - 10	$1,283.00	$1,582.00

ZI142	NexGen Knee Tibial Augments	One Third Wedge - Ti	1 - 10	$1,283.00	$1,582.00

ZI143	NexGen Knee Tibial Augments	NexGen Tibial Blocks - half and full, Titanium	1 - 10	$1,283.00	$1,582.00

ZI144	NexGen  Femoral Augments	Femoral blocks, posterior, distal and anterior, titanium 	A - H	$1,283.00	$1,337.00

ZI145	NexGen  Femoral Augments	Femoral blocks, combined posterior distal block 	A - H	$1,283.00	$1,337.00

ZI404	Natural Knee Tibial Augments 	Tibial hemi blocks, titanium, lug fixation 	4 to 8mm  Size 00 to 5	$1,283.00

ZI422	Natural Knee	Femoral Spacer Lug - Ti alloy	4 to 12mm	$302.00	$1,283.00

ZI425	Natural Knee Femoral Augments	Femoral blocks combined distal and posterior, titanium   	Size 0 to 4	$1,283.00	$2,230.00

ZI504	Natural Knee	Revision - Femoral Spacers Non Porous - metal alloy	Size 0 to 4	$1,283.00	$1,665.00

S or C

Zimmer Pty Ltd

ZI607	Natural Knee II Modular Cemented Tibial Baseplate 	Modular Cemented Tibial Augments - Medial & Lateral	Sizes 00.0, 1,2,3,4 x 4mm; 00,0,1,2,3,4 x 	$1,283.00

Augments	8mm - Medial & Lateral

S, C without screw

Smith & Nephew Surgical Pty Ltd

SM153	Legion Hinge Femoral Wedge	A distal femoral Wedge for use with the Legion Hinge 	Size 2 to 7 5,10,15,20mm	$1,283.00

system.

Prostheses List by Category, Groups and Sponsor	Page 586 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 13b - Stems - Straight or offset

Advanced Surgical Design & Manufacture Ltd

AE075	Active Knee Stems	Tibial and femoral stems for revision, varying lengths, 	11 - 13 Dia, 60 - 100mm	$1,258.00	$1,600.00

Titanium

AE078	Active Knee Stem	Tibial stem for morse tapered tibial baseplate 	1-5,  A & B	$1,258.00	$1,700.00

Advanced Surgical Technologies

AD144	Advance Revision Knee System stems	Uncemented stems, femoral and tibial 	11 - 22mm in 1mm increments, 100 & 	$1,580.00	$2,000.00

140mm lengths

AD148	Advance Revision Knee System stems	Cemented stems, femoral and tibial	10, 12,14, 16, 18 x 65mm, 15 x 30mm	$1,258.00	$1,560.00

AD172	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium CoCr short stem. 	3" Length in Small-Xlarge	$615.00

This stem is required for primary prosthesis.

AD173	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium CoCr long stem. 	6" Length in Small-Xlarge	$555.00

This stem is required for primary prosthesis.

AD187	Advantim / Ortholoc Revision Knee	Tibial Revision Smooth/Finned Titanium	6" Length in varying diameters 	$1,258.00

AD195	Advantim / Ortholoc Revision Knee	Femoral stems titanium	5 Degree 6", 7 Degree 6" varying diamters 	$1,258.00

B Braun Australia Pty Ltd

BB200	Emotion Total Knee System (TKS) Tibial and Femoral 	Tibial and femoral stems, CoCr, cemented or uncemented	Short, D: 10mm to 16mm , Medium, D: 	$1,258.00

Stems	10mm to 16mm, Long, D: 10mm to 16mm

BB242	Columbus Total Knee System (TKS) Tibial Stem	Tibial Stem, cemented or uncemented, CoCr	12mm & 14mm,  in uncemented, 12mm & 	$1,258.00

14mm in cemented.

Biomet Australia Pty Ltd

BI171	Maxim Complete Knee System Femoral and Tibial 	Femoral and Tibial Stems, Titanium, curved and straight, 	40mm 80mm	$1,040.00	$1,090.00

Stems 	cemented

BI184	Biomet Universal Tibial and femoral stems 	Tibial and Femoral Stems, Titanium, curved and straight, 	55-80mm	$1,040.00	$1,964.00

cemented

BI800	Ascent Total Knee System Femoral Stem 	Femoral stem, titanium, curved and straight, cement 	5 or 7 degree, 100mm, 150mm lengths, 10-	$1,258.00	$3,130.00

fixation, includes locking bolt 	24mm diameters

BI978	Regenerex Tibial Tray	Stem, PressFitt, Ti Alloy	40, 80mm	$1,258.00	$1,970.00

Prostheses List by Category, Groups and Sponsor	Page 587 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Corin Australia Pty Ltd

CR003	Rotaglide + Total Knee System Femoral and Tibial Stems	Femoral and Tibial Stems, CoCr, cemented	30mm - 70mm	$870.00

CR104	Score Knee System Femoral and Tibial Stems	Femoral and Tibial Stems, Titanium, cemented	4 diameters, 3 lengths	$1,258.00

Endotec Australia Pty Ltd

EA023	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral and Tibial stems, titanium, TiNi surface treatment, 	BP TKR Revision stems 9mm -20mm (inc)	$1,258.00	$1,550.00

System Femoral and Tibial Stems	uncemented

Exactech Australia

EX027	Optetrak Total Knee System Femoral and Tibial Stems 	Femoral and Tibial Stems for Optetrak Knee System, 	Size 1 - 6	$1,580.00	$3,500.00

titanium, cemented or uncemented, femoral stem requires

stem extension adapter on every occasion, tibial stem

requires screw fixation

Global Orthopaedic Technology

GO114	RBK Total Knee System Stems 	Tibial and Femoral Stems, cemented, Titanium including 	10mm to 24mm thick x 80mm to 170mm long	$1,258.00	$2,189.00

locking bolt

Johnson & Johnson Medical Pty Ltd

DP143	PFC Sigma Knee System tibial stems 	Tibial stems cemented and fluted uncemented, titanium 	Sizes 30-150mm	$1,580.00

DP153	PFC Sigma Knee System femoral stems 	Femoral stems cemented and fluted uncemented, titanium 	5-7degree, 125-175mm 	$1,580.00

with variable angulation

DP272	SROM Noiles Knee System stems	Femoral and tibial stems, uncemented, fluted and slotted 	Sizes 100-150mm	$1,580.00

including attachment bolt

JJ655	PFC Knee System - Universal Slotted Stem	Tibial/Femoral Stem-Titanium	Lengths 75, 115, 150mm; widths 10 to 24mm	$1,580.00

Medacta Australia Pty Ltd

MU035	Evolis Knee System Tibial Stem 	Tibial stems, titanium, cemented	30/60mm length (12mm diameter)	$1,258.00

MU069	GMK Tibial Extension Stem	Tibial Baseplate extension stem	diameter 11mm, length 65mm	$1,258.00

Prostheses List by Category, Groups and Sponsor	Page 588 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthotech Pty Ltd

OH027	Optetrak Total Knee System Femoral and Tibial Stems 	Femoral and Tibial Stems for Optetrak Knee System, 	Size 1 - 6	$1,580.00	$3,500.00

titanium, cemented or uncemented, femoral stem requires

stem extension adapter on every occasion, tibial stem

requires screw fixation

Smith & Nephew Surgical Pty Ltd

SM077	RT (Rotating Hinge) PLUS Knee System Femoral and 	Femoral and Tibial Stems, Titanium, uncemented	95 -120	$1,580.00

Tibial Stems

SM079	TC (Tri Compartment) PLUS Knee System Femoral and	Femoral and Tibial Stems, Cemented, CoCr	80-150	$1,258.00

Tibial Stems

SM080	TC (Tri Compartment) PLUS Knee System Femoral and	Femoral and Tibial Stems, uncemented, Titanium	10/80 - 20/150	$1,580.00

Tibial Stems

SM081	TC (Tri Compartment) PLUS Knee System Femoral and	Femoral and Tibial Stems, uncemented, Titanium, Varus or 	10/80 - 20/150	$1,580.00

Tibial Stems	Valgus angulation correction

SM084	RT (Rotating Hinge) PLUS Knee System Femoral and 	Femoral and Tibial Stems, CoCr, Cemented	95-160	$1,258.00

Tibial Stems

SM086	RT (Rotating Hinge) PLUS Knee System Femoral and 	Femoral and Tibial Stems, Titanium, uncemented	95 - 160	$1,580.00

Tibial Stems

SM087	RT (Rotating Hinge) PLUS Knee System Femoral and 	Femoral and Tibial Stems, Titanium, uncemented (longer 	200	$1,580.00

Tibial Stems	stems)

SN316	Genesis II Knee System Tibial and Femoral Stems	Tibial and Femoral Stems, titanium, cemented or press fit 	10-24x100mm, 10-20 x 150mm 10-16x 	$1,258.00

200mm

SN347	Genesis	I/M Peg: Femoral and Tibial: Titanium	10-16mm Diameter x  40-200mm Length	$250.00

SN376	Profix Knee System Femoral and Tibial Stems	Femoral and Tibial stems, Titanium, Cemented or press fit,	10-20mm x 100mm. 10-20x150mm 10-20 x 	$1,258.00

200mm

SN377	Profix	Metaphyseal Tibial Stem	14-20mm	$670.00

SN715	Genesis II Knee System Femoral and Tibial Stems	Tibial and Femoral Stems, Titanium, cemented or press fit 	18 - 24mm x 200mm	$1,258.00

(larger diameter range for 200mm length)

SN823	Legion Knee System Femoral and Tibial Stems	Femoral and Tibial stems, Titanium, Cemented or press fit	120-220mm	$1,258.00

Prostheses List by Category, Groups and Sponsor	Page 589 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

HW098	Duracon Knee System Stems	TS (Total Stabilizer) Stems, CoCr (Vitallium), uncemented	40mm, 80mm, 155mm lengths	$1,580.00

HW171	Duracon Knee System / Kinemax Knee System stem	Stem, femoral & tbial, CoCr, (Vitallium), cemented	40mm, 80mm, 155mm for each size	$800.00

SK434	Triathlon Knee System TS Titanium stem	Stem, Titanium, uncemented	10-25 (100mm) 10-25 (150mm)	$1,580.00

SR035	Triathlon Knee System TS stem	Tibial stem, Titanium, cemented	9x50mm, 9x100mm, 9x150mm, 12x50mm, 	$1,258.00	$1,600.00

12x100mm, 12x150mm, 15x50mm,

15x100mm, 15x150mm

SR037	Triathlon Knee System Femoral Distal Fixation Peg	Modular Femoral Distal Fixation Peg CoCr	one size	$475.00

ST606	Duracon Knee System Tibial & Femoral stem	Stem, femoral & tibial, titanium, cemented	10mm-19mm, 21mm, 23mm in 80mm and 	$1,258.00	$1,466.00

155mm lengths

Tornier Pty Ltd

TO028	HLS Noetos Revision Stems	Femoral and Tibial extension stems CoCr	1 to 6 Length 75 and 150mm	$1,258.00

Zimmer Pty Ltd

ZI072	Insall-Burstein II Femoral and Tibial Stems 	Tibial and Femoral Stems, cemented, titanium	10 - 24mm	$1,040.00	$1,100.00

ZI095	Miller Galante II long femoral and tibial stems 	Femoral and Tibial straight and offset, titanium, cemented, 	12 - 18mm	$1,040.00

long

ZI096	Miller Galante II standard femoral and tibial stems 	Femoral and Tibial straight and offset, titanium, cemented, 	12 - 18mm	$548.00

standard

ZI146	NexGen Femoral and Tibial Stems 	Femoral and Tibial Stems, straight and offset, cemented 	Length - 35 - 155mm, Diameters - 10 - 24 mm	$1,258.00	$1,337.00

ZI417	Natural Knee Tibial Stem 	Tibial Stem, Titanium, cemented including locking bolt 	60 to 215mm	$1,258.00	$1,735.00

ZI424	Natural Knee Femoral Stems 	Femoral Stem, Titanium, cemented including locking bolt 	10.5mm/125mm to 18.5mm/250mm	$1,258.00	$3,185.00

Group 13c - Offset couplers / adaptors

Biomet Australia Pty Ltd

BI956	Offset Tibial Tray System 	Offset Adapter for connection to tibial stems and baseplate,	0mm, 2.5mm, 5mm Offset	$1,350.00

titanium

Prostheses List by Category, Groups and Sponsor	Page 590 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Corin Australia Pty Ltd

CR111	Score Knee System Offset Connector	Connector for stems to alter stem offset morse taper but 	2mm, 4mm, 6mm	$1,350.00

also including screw for additional fixation, titanium

Johnson & Johnson Medical Pty Ltd

JJ654	PFC Sigma - Femoral Adaptor	Offset Adaptor	5 and 7 degree	$1,350.00

Smith & Nephew Surgical Pty Ltd

SN885	Genesis II Knee System Offset Couplers	Offset Coupler, titanium	2-4	$1,350.00

SN886	Profix Knee System Offset Couplers	Offset Coupler, titanium	2-4	$1,350.00

Stryker Australia Pty Ltd

SK435	Triathlon Knee System Tibial / Femoral Offset Adaptor 	Tibial & femral offset adaptor, CoCr	2,4,6,8mm	$1,350.00	$2,000.00

ST603	Duracon Knee System Tibial / Femoral Offset Adaptor 	Tibial / Femoral Offset Adaptor, CoCr, (Vitallium)	2mm, 4mm, 6mm, 8mm	$1,350.00

Group 13d - Stem extender, sleeve and other couplings

Advanced Surgical Technologies

AD250	Guardian Limb Salvage System	Male-Male Mid-Section extender 	40, 50, 60, 70, 90, 110, 140mm	$3,671.00

B Braun Australia Pty Ltd

BB319	Emotion Total Knee System Femoral Stem Extension	Revision nut for Femur Extension Stem	One size only	$780.00	$800.00

Exactech Australia

EX029	Opetrak Total Knee System Femoral Stem Extension 	Femoral Stem Extension Adapter that provides for set 	One size only	$780.00	$900.00

Adpater 	changes in angulation of stem needs to be used on every

occasion

Orthotech Pty Ltd

OH057	Opetrak Total Knee System Femoral Stem Extension 	Femoral Stem Extension Adapter that provides for set 	One size only	$780.00	$900.00

Adpater 	changes in angulation of stem needs to be used on every

occasion

Stryker Australia Pty Ltd

HW233	KRH (Kinemax Knee System Rotating Hinge) & MRH 	KRH & MRH Rotating Hinge Tibial Sleeve, UHMWPE, 	One size only	$780.00

(Modular Rotating Hinge) Rotating Hinge Sleeve	(Duration) houses Rotating Hinge Tibial Rotating

component sHydroxyapatiteft

SK442	Triathlon Knee System Stem Extender	Stem extender, cemented, CoCr 	25mm & 50mm	$780.00	$1,068.00

Prostheses List by Category, Groups and Sponsor	Page 591 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Tornier Pty Ltd

TO024	HLS Noetos Revision Stem Extender, Sleeve and other 	Stem Adaptor (Femoral Sledge) CoCr	5, 7 and 9 degrees	$1,400.00

Couplings

TO025	HLS Hoetos Revision Knee	Sleeve stem adaptor (flange piece) CoCr	5, 7 and 9 degrees, right and left	$1,400.00

Met

Johnson & Johnson Medical Pty Ltd

DP261	SROM Noiles Knee System tibial sleeves	Tibial metaphyseal sleeve, porous coated, for proximal 	37-61mm	$2,700.00

bone replacement

DP271	SROM Noiles Knee System femoral sleeves	Femoral metaphyseal sleeve, porous coated, for distal bone	Size 31-46mm	$2,700.00

replacement

DY156	LCS, PFC and SROM  Knee Systems, femoral 	Universal femoral metaphyseal sleeve, Porocoat, smaller 	20 - 46mm	$2,700.00

metaphyseal sleeve	size cemented, larger sizes uncemented, titanium

DY157	MBT  Knee Systems tibial metaphyseal sleeve	Universal tibial metaphyseal sleeve, Porocoat, smaller size 	29 - 61mm	$2,700.00

cemented or uncemented, larger sizes uncemented, titanium

JJ706	LCS, PFC & SROM Knee System - Universal Fully 	Universal Fully Beaded (Porocoat) Femoral Metaphyseal 	31-46mm	$2,700.00	$3,150.00

Porous Femoral Metaphyseal Sleeve	Titanium Sleeve

Zimmer Pty Ltd

ZI485	Trabecular Metal Tibial Cone	Trabecular Metal Tibial void filling cone for proximal 	$2,700.00	$4,168.00

metaphyseal bone surrounding stem, full or stepped

Group 13e - Conversion module

Smith & Nephew Surgical Pty Ltd

SN314	Genesis II Knee System Femoral Conversion Module	Femoral Conversion Module, for Genesis II CR or PS 	Left/Right size 1-8	$1,185.00

femoral component, includes screws for fixation

Stryker Australia Pty Ltd

HW085	Duracon Knee System Modular Stabilizer Box	Modular Stabilizer Box, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-	$625.00

Large

Prostheses List by Category, Groups and Sponsor	Page 592 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 13f - Connectors for hinged prostheses

Advanced Surgical Technologies

AD246	Guardian Limb Salvage System	Quick Snap Axial Pin, CoCr, Titanium	1, 2, 3, 4	$2,267.00

Global Orthopaedic Technology

GO119	RBK Total Knee System Rotating hinge bushing 	Rotating Hinge Bushing Mechansim	Complete mechanism	$2,300.00	$4,540.00

mechanism

Johnson & Johnson Medical Pty Ltd

JJ705	LPS & SROM Systems - Hinge Pin	Rotating Hinge Axle - uncemented, CoCr	xxsmall - medium	$820.00

Smith & Nephew Surgical Pty Ltd

SM154	Legion Hinge Sleeve and Bolt	Is used to secure the Legion Hinge femoral component to 	Sizes 2-7	$2,300.00

the hinge mechanism attached to the baseplate.

SN901	Legion Hinge Axle	Is used to secure the Legion Hinge femoral component to 	Sizes 2-7	$728.00

baseplate.

Stryker Australia Pty Ltd

HW201	HMRS (Howmedica Modular Replacement System) 	HMRS Fixed Hinged Knee Axle Pin, CrCo, (Vitallium), 	One size only	$572.00

Fixed Hinged Knee Axle Pin 	uncemented, Fixed

HW231	GMRS (Global Modular Replacement System) & MRH 	GMRS & MRH Tibial Rotating Hinge component (not 	GMRS-small  MRH/crossover                      	$3,453.00

(Modular Rotating Hinge) Tibial Rotating Component	baseplate) separated from femoral component by bumper 	MRH - xs-xl  & l-xl

and rotates on top of tibial insert , Fixed

Zimmer Pty Ltd

ZI309	Nexgen Rotating Hinge Replacement 	Rotating hinge replacement which includes metal rotating 	B-F	$2,300.00	$4,920.00

hinge plus Polyethylene bushing and fixation pin

Group 13g - Temporary Spacers

Zimmer Pty Ltd

ZI313	Spacer-K	Temporary implantable device for the treatment of infected 	Small, Medium, Large	$2,079.00

total knee replacement, Composition - stainless steel core

surrounded by PMMA impregnated with Gentamicin

Prostheses List by Category, Groups and Sponsor	Page 593 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 13z - Others

Advanced Surgical Design & Manufacture Ltd

AE042	Active Knee - Tibial bone screws 	Bone Screw Titanium TiN coated - Optional	20mm - 50mm	$140.00

Advanced Surgical Technologies

AD149	Advance Revision Knee System	Optional bone screw for tibial component 	6.5mm x 1.5 - 6cm in 0.5cm increments long	$140.00	$266.00

AD176	Advantim Total Knee System	Cortical Bone Screws, to fix femoral component to bone, 	4.5mm x 2.0 - 7.5cm in 0.5cm increments long	$140.00	$225.00

Titanium optional

B Braun Australia Pty Ltd

BB210	Columbus Total Knee System (TKS) Tibial Stems	Tibial Stem (cap), cemented or uncemented, short (mini) 	Small & Large D: 12mm & D: 14mm	$725.00	$1,258.00

(obturator stem) CoCr, usually required when stem not used

BB241	Emotion Total Knee System (TKS) Tibial Stem	Tibial Stem (cap), cemented or uncemented, short (mini) 	12mm, 14mm & 16mm in cemented and 	$725.00	$1,258.00

(obturator stem) CoCr, usually required when stem not used	uncemented

Biomet Australia Pty Ltd

BI173	Maxim Complete Knee System Tibial Locking Bar	Insert locking pin, Titanium	One size only	$125.00

Endotec Australia Pty Ltd

EA024	Buechel-Pappas Ultracoat Total Knee Replacement 	Screws used for augmentation of bone defects and 	BP Rebar screws 15mm-50mm (inc)	$140.00	$200.00

System Rebar Screws 	reinforcement of PMMA, TiNi surface treatment

Exactech Australia

EX030	Optetrak Total Knee System Tibial Stem Extension 	Tibial Stem Screw for Tibial stem fixation 	One size only	$140.00	$900.00

Screw

Global Orthopaedic Technology

GO120	RBK Total Knee System	Screw, Ti	5mm to 5.7mm x 5mm to 17.5mm long	$140.00	$285.00

GO158	RBK Universal Knee System Insert Bolt 	Insert bolt for RBK universal pegged and non pegged inserts	10mm - 20mm	$305.00

GO190	APEX Knee Reconstruction System, Locking Bolt.	Tibial Insert Locking Bolt	One size	$305.00

Prostheses List by Category, Groups and Sponsor	Page 594 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO192	APEX Knee Reconstruction System, Bone Screw	6.5mm Bone Screw	20mm, 25mm, 30mm, 35mm, 40mm, 45mm, 	$140.00	$160.00

50mm, 55mm, 60mm, 65mm & 70mm.

Johnson & Johnson Medical Pty Ltd

DP155	PFC Sigma Knee System femoral stem bolts	Bolts to connect femoral stem, straight and offset 	Neutral +/- 2mm	$305.00

DP255	SROM Noiles Knee System bumper and hinge bearing 	Replacements for UHMWPE axis bearings and bumpers, 	Sizes xsmall - medium.  	$125.00

replacements 	for hinged prosthesis

DP267	SROM Noiles Knee System femoral metaphyseal sleeve 	Cap and bolt for end of femoral metaphyseal sleeve if stem 	One size only	$130.00

cap 	not used

DP384	AMK primary locking pin and clip	Normally supplied with insert, this covers separate provision	One size only	$125.00

DY460	SROM Noiles Knee System tibial metaphyseal sleeve 	Cap and bolt for end of tibial metaphyseal sleeve if stem not	One size only	$130.00

cap 	 used

JJ659	LCS Complete Knee System APG arm	APG arm for use with APG mobile tibial insert only	Sizes small to large+	$146.00

Lifehealthcare Pty Ltd

LH305	HemiCAP Contoured Articular Knee System Fixation 	Proximal Morse taper, fully cannulated, tapered, threaded 	Component for 15mm & 20mm Articular 	$700.00	$900.00	Used with Billing Code TB304

component 	fixation component - Titanium with titanium plasma spray	Components Screw 9.5mm Dia x 20mm;

11mm x 22mm

LH406	HemiCAP Patello-Femoral Resurfacing System - 	A titanium-alloy fixation stud	8.5mm x 17.0mm	$700.00

Fixation Stud

Medacta Australia Pty Ltd

MU036	Evolis Knee System Fixation Screw 	Tibial screw for baseplate fixation to bone, titanium, 	20/25/30/35/40/45mm (6.5mm diameter)	$140.00	$160.00

optional

Orthotech Pty Ltd

OH056	Optetrak Total Knee System Tibial Stem Extension 	Tibial Stem Screw for Tibial stem fixation 	One size only	$140.00	$900.00

Screw

Smith & Nephew Surgical Pty Ltd

SM091	RT (Rotating Hinge) PLUS Knee System Clip and 	Insert clip and screws for stem fixation, packed together as 	0-10	$140.00

Screw	emergency kit

SN367	Mobile Bearing Knee System Insert Locking Screw	Insert Locking Screw, used to lock AP translation of 	One size only	$140.00

Mobile insert

SN393	Profix Knee System Tibial Screws	Tibial Screws, Titanium for fixation of baseplate to bone 	15-50mm	$140.00

(optional)

Prostheses List by Category, Groups and Sponsor	Page 595 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

HW084	Duracon Knee System Augment Locking Screw	Augment Locking Screw, CoCr (Vitallium)	5mm, 10mm	$140.00

HW097	Duracon Knee System Tibial Baseplate Screw	Tibial baseplate screw, CoCr (Vitallium)	6.2mm diameter in 15mm, 20mm, 25mm, 	$140.00

30mm, 35mm, 40mm, 50mm, 55mm, 60mm

lengths

HW167	Kinemax Knee System Tibial Fixation Peg	Tibial Fixation Peg, CoCr (Vitallium), 	20mm	$125.00

HW192	HMRS (Howmedica Modular Replacement System) Hex	HMRS Hex Head Cortical Bone Screw, Self Tapping, 	16-30mm in 2mm increments and 35-70mm in	$37.00

Head Cortical Bone Screw, Self Tapping	CoCr (Vitallium) for prosthesis fixation 	 5m increments

HW195	HMRS (Howmedica Modular Replacement System) 	HMRS Plug Screw Axis, UHMWPE, (Duration) for 	One size only	$218.00

Plug screw Axis	fixation of HMRS Axis within HMRS bearing component

of HMRS Distal Femur / Proximal Tibia and HMRS

Femoral / Tibial Joint.

HW208	HMRS (Howmedica Modular Replacement System) 	HMRS Hexagonal Socket Bolt - CoCr (Vitallium) for 	One size only	$415.00

Hexagonal Socket Bolt	HMRS Connecting piece assembly (2)

Zimmer Pty Ltd

ZI406	Natural Knee Tibial Augment Fixation 	Tibial Augment Fixation peg and screws  	One size only	$140.00	$266.00

ZI426	Natural Knee Stem Locking Bolt 	Femoral Stem Locking Bolt (additional separate listing)	One size only	$305.00	$315.00

ZI427	Natural Knee Posterior Stabiliser Bar 	Posterior Stabiliser Bar including fixation screws	One size only	$140.00	$315.00

Met

Zimmer Pty Ltd

ZI516	Trabecular Metal Femoral Cone 	Trabecular Metal femoral void filling cone for distal 	Small, Medium, Large	$2,700.00	$9,825.00

metaphyseal bone surrounding stem

Knee - Femoral Component Total Arthroplasty

Group 1a - Cemented, Alloy, Minimally Stabilised

Advanced Surgical Design & Manufacture Ltd

AE039	Active Knee Femoral Component 	Femoral Component, Cemented, CoCr 	Sizes 00 - 5 Left & Right	$3,300.00

AE117	3D Knee System - Femoral Component, Cemented	CoCro femoral component, grit blast for cemented	Left Sizes 1,2,4,6,8,19,12; and Right Sizes 	$3,300.00

1,2,4,6,8,10,12

Prostheses List by Category, Groups and Sponsor	Page 596 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Advanced Surgical Technologies

AD141	Advance Total Knee System	Cemented, grit blasted, minimally stabilised, femoral 	0, 1, 2, 3, 4, 5, 6	$3,300.00	$3,432.00

component

AD169	Advantim Total Knee System	Cemented femoral component, CoCr	Small, Medium, Large, Xlarge	$3,300.00

B Braun Australia Pty Ltd

BB205	Columbus Total Knee System (TKS) Femoral 	Femoral component, cemented, CoCr	F1 - F7, Left and Right	$3,300.00

Component

Biomet Australia Pty Ltd

BI147	AGC System femoral component 	Femoral Component, cemented, CoCr, left and right sided 	55-80mm	$3,300.00	$3,683.00

(anatomic)

BI152	AGC System femoral component 	Femoral Component, cemented, CoCr, unsided (universal)	55-80mm	$3,300.00	$3,410.00

BI168	Maxim Complete Knee System Femoral Component 	Femoral Component,   Cemented, CoCr 	55-80mm	$3,300.00	$3,680.00

BI898	Vanguard Total Knee System	Femoral Component, CR, Cemented, anatomic, CoCr.	55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left 	$3,300.00	$3,680.00

and Right

BI902	ROCC Femoral Compoent 	Femoral Component, cemented, posterior stabilised, CoCr	1-8	$3,300.00	$3,550.00

Corin Australia Pty Ltd

CR013	Rotaglide + Total Knee System, Femoral Component	Femoral Component, Cemented, CoCr, pegged 	Ex Sml - Ex Lge	$3,300.00

CR015	Rotaglide + Total Knee System, Femoral Component	Femoral Component, Cemented, CoCr, stemmed 	Ex Sml - Ex Lge	$3,300.00

CR105	Score Knee System Femoral Component	Femoral component, Cemented, CoCr, with extended 	7 sizes	$3,300.00

patellar groove

ESKA Australia

EK029	ST Femoral Replacement	Femoral component, cemented, CoCr	s-small, small, medium, large, x-large. Height -	$3,300.00

8, 10, 12, 14mm

EK032	RP (Rotating Platform) femoral component	Femoral component, cemented, CoCr	s-small, small, medium, large, x-large	$3,300.00

Exactech Australia

EX031	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr	Size 1 -  6	$3,300.00	$3,750.00

Prostheses List by Category, Groups and Sponsor	Page 597 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI025	DBK (Dual Bearing Knee) Total Knee System Femoral 	Femoral Component, Cemented, CoCr 	Sizes 1-6, Left and Right	$3,300.00	$4,100.00

Component

FI028	MRK (Medial Rotation Knee) Total Knee System 	Femoral Component, Cemented, CoCr	0-5 Left and Right	$3,300.00

Femoral Component

FI052	Saiph Knee System Femoral Component Cemented	CoCr Polished Cemented Femoral Component	1 - 8 Left & Right	$3,300.00

Global Orthopaedic Technology

GO006	RBK Total Knee System Femoral Component 	Femoral Component, CoCr, cemented	0 - 5	$3,300.00

GO196	Apex Knee Reconstruction System, CR Cemented 	CR Cemented Femoral Component, Non-Porous, Size 1 	Size 1 Left & Right, size2 Left & Right, size 3 	$3,300.00

Femoral Component, Left & Right , Size 1 to 6	to 6	Left & Right, size 4 left & Right, size 5 Left &

Right, size 6 Left & Right

Johnson & Johnson Medical Pty Ltd

DP004	LCS Complete Knee System femoral component 	Femoral cemented, CoCr	Sizes small to large+	$3,800.00

DY471	PFC Sigma Knee System femoral component	Femoral component, cemented, CoCr	Size 1-6 including narrow sizes	$3,300.00

Link Orthopaedics  Australia

LO037	Link Gemini Femoral Component 	Femoral component, cemented, CoCr, microporous	Extra Small - Extra Large	$3,300.00

Mathys Orthopaedics Pty Ltd

MA108	Balansys Femoral Component	Femoral component, cemented, CoCr	A, B, C, D, E Left & Right	$3,300.00	$3,500.00

MA490	Balansys Knee System / Femoral Component, CR, 	Balansys Femoral Component/ CR cemented, TiNbN 	60 - 76, left and right	$3,300.00	$4,000.00

cemented, TiNbN coated	coated

Medacta Australia Pty Ltd

MU026	Evolis Knee System Femoral Component 	Femoral component, cemented, CoCr 	1- 6, left and right	$3,300.00

MU043	Cinétique Knee System Femoral Component 	Femoral component, cemented, CoCr 	Sizes 1 to 6, Left and Right	$3,300.00

MU063	GMK cemented standard femur	cemented standard femoral component	sizes 1to 6, left to right	$3,300.00

Orthotech Pty Ltd

OH020	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr	Size 1 -  6	$3,300.00	$3,750.00

Prostheses List by Category, Groups and Sponsor	Page 598 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM064	VKS (Vario) Knee System Femoral Component	Femoral Component, CoCr, cemented	1-12	$3,300.00

SN321	Genesis II Knee System Femoral Component	Femoral Component, cemented, CoCr	Left/Right Size 1-8	$3,300.00

Stryker Australia Pty Ltd

HW076	Duracon Knee System Femoral Component 	Minimally stabilised, cemented, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-	$3,300.00	$3,400.00

Large

HW147	Kinemax Knee System Femoral Component 	Minimally stabilised, cemented, CoCr (Vitallium)	XS, S, M, L, XL, XXL	$3,300.00

HW396	Duracon Knee System Femoral Component	Minimally stabilised, cemented, CoCr (Vitallium), with 	Small, Medium, Medium-Large, Large, Extra-	$3,300.00	$3,400.00

removable lugs, and capacity to attach femoral box	Large

SK324	Triathlon Knee System Femoral Component	Minimally stabilised, cemented, CoCr	Sizes 1 to 8	$3,300.00	$3,640.00

SK332	Scorpio NRG Knee System Femoral Component 	Minimally stabilised, cemented, CoCr	Sizes 3,4,5,6,7,9,11,13	$3,300.00	$3,640.00

SR063	Scorpio Knee System Femoral Component 	Minimally stabilised, cemented, CoCr with TiNi surface 	3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 	$3,300.00	$3,640.00

treatment (LFIT - Low friction ion treatment)	Right, 9 Left, 9 Right, 11 Left, 11 Right, 13

Left, 13 Right

ST634	Scorpio Knee System Femoral Component 	Minimally stabilised, cemented, CoCr	3, 5, 7, 9, 11, 13	$3,300.00	$3,400.00

Zimmer Pty Ltd

ZI420	Natural Knee Femoral Component 	Femoral Component,  Cemented, CoCr 	Size 00 to 5	$3,300.00	$3,640.00

ZI559	Natural Knee II Flex Femur	Femoral Component, cemented, CoCr, High Flex 	Sizes 1 to 5 GSM Left and Right and Sizes 0 	$3,300.00	$4,460.00

to 4 GSF Left and Right

CS

Johnson & Johnson Medical Pty Ltd

DY374	LCS Complete Knee System femoral component 	Femoral component, cemented, Titanium with TiN surface 	Sizes small to large+	$3,450.00

treatment

Medacta Australia Pty Ltd

MU027	Evolis Knee System Femoral Component 	Femoral Component, cemented, CoCr, with TiNi (TiNibN)	1 - 6, left and right	$3,450.00	$3,700.00

surface coating

MU044	Cinétique Knee System Femoral Component 	Femoral Component, cemented, CoCr, with TiNi (TiNibN)	Sizes 1 to 6, Left and Right	$3,450.00	$4,300.00

surface coating

Prostheses List by Category, Groups and Sponsor	Page 599 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CS, Rev

Endotec Australia Pty Ltd

EA014	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral Component, Titanium, cemented, TiNi articular 	 1-6(inc) Left & Right	$3,450.00	$4,650.00

System Femoral Component 	and bone surface treatment

Rev

Advanced Surgical Technologies

AD219	Advance Total Knee System	Stemmed condular medial pivot component, cemented, grit 	1, 2, 3, 4, 5  All in Left & Right	$6,050.00

blasted, minimally stabilised, femoral component, CoCr,

usually used with a anterior lipped insert

Biomet Australia Pty Ltd

BI892	Rotating Hinge Knee (RHK) Femoral Component 	Femoral Component,  cemented, CoCr	Small, Standard, Large; Left and Right	$6,050.00	$7,920.00

Johnson & Johnson Medical Pty Ltd

DY368	LCS Complete Knee System femoral component 	Femoral component, cemented, CoCr	Sizes small to large+	$6,050.00

Smith & Nephew Surgical Pty Ltd

SM085	TC (Tri Compartment) PLUS Knee System Femoral 	Femoral Component, CoCr, cemented	2 - 10	$6,050.00

Component

Group 1b - Cemented, Alloy, Posterior Stabilised

B Braun Australia Pty Ltd

BB196	Emotion Total Knee System (TKS) Femoral Component	Femoral Component, cemented, CoCr, Posterior stabilised	F1 - F8, Left and Right	$3,400.00

BB206	Columbus Total Knee System (TKS) Femoral 	Femoral component, cemented, CoCr, posterior stabilised	F1 - F7, Left and Right	$3,400.00

Component

Biomet Australia Pty Ltd

BI150	AGC System femoral component 	Femoral Component, cemented, CoCr, left and right sided 	55 to 80mm	$3,400.00

(anatomic), posterior stabilised

BI158	AGC System femoral component 	Femoral Component, cemented, CoCr, unsided (universal),	55-80mm	$3,400.00

posterior stabilised

BI178	Maxim Complete Knee System Femoral Component 	Femoral Component, Cemented, CoCr,  Posterior 	55-80mm	$3,400.00	$3,550.00

Stabilised

Prostheses List by Category, Groups and Sponsor	Page 600 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI195	Vanguard Rotating Platform Femoral Component	Femoral Component, Cemented, CoCr, Posterior 	60-75mm	$3,400.00	$3,557.00

Stabilised

BI897	Vanguard Total Knee System	Femoral Component, Posterior Stabilised, Cemented, 	55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left 	$3,400.00

anatomic, CoCr.	and Right

Exactech Australia

EX033	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior stabilised 	Size 1 -  6	$3,400.00	$4,264.00

EX034	Optetrak Hi Flex Femoral Component 	Femoral Component, Cemented, CoCr, High Flex (Hi 	1-6	$3,400.00	$3,850.00

Flex), posterior stabilised

Johnson & Johnson Medical Pty Ltd

DP149	PFC Sigma Knee System femoral component	 Femoral component, cemented, CoCr, posterior stabilised	Size 1-6 including narrow sizes	$3,400.00

DY371	LCS Complete System femoral component 	Femoral Component, cemented, CoCr, posterior stabilised	Sizes small to large+	$3,400.00

DY404	PFC Sigma Knee System RPF femoral component  	Femoral component, cemented, CoCr, high flex, posterior 	Size 1-6 including narrow sizes	$3,400.00

stabilised

Mathys Orthopaedics Pty Ltd

MA487	BalanSys Femoral Component 	Femoral component, cemented, CoCr, posterior stabilised 	A, B, C, D, E Left & Right	$3,400.00	$3,800.00

MA493	Balansys Knee System / Femoral Component, PS, 	Balansys Femoral Component/PS cemented, TiNbN 	60-76, left and right	$3,400.00	$4,300.00

cemented, TiNbN coated	coated, CoCrMo, TiNbN

Medacta Australia Pty Ltd

MU028	Evolis Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior stabilised 	1 - 6, left and right	$3,400.00

MU029	Evolis Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior stabilised 	1 - 6, left and right	$3,400.00	$3,700.00

with TiNi (TiNibN) surface coating

MU064	GMK posterior stabilised cemented femur	cemented posterior stabilised femoral component	sizes 1 to 6, left to right	$3,400.00

Orthotech Pty Ltd

OH212	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior stabilised 	Size 1 -  6	$3,400.00	$4,264.00

OH233	Optetrak Hi Flex Femoral Component 	Femoral Component, Cemented, CoCr, High Flex (Hi 	1-6	$3,400.00	$3,850.00

Flex), posterior stabilised

Prostheses List by Category, Groups and Sponsor	Page 601 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN847	Journey Knee System Femoral Component	Femoral Component, Cemented, CoCr, posterior stabilised	Sizes 1-10, Left and Right	$3,400.00

SN871	Genesis II Knee System Femoral Component	Femoral component, cemented posterior stabilised, CoCr	Left / Right 1-8	$3,400.00

SN872	Profix Knee System Femoral Component	Femoral component, cemented posterior stabilised, CoCr	Left / Right 1-8	$3,400.00

Stryker Australia Pty Ltd

HW080	Duracon Knee System Femoral Component	Posterior stabilised, cemented, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-	$3,400.00

Large

SR003	Scorpio NRG Knee System Femoral Component 	Posterior stabilised, cemented, CoCr	Sizes 3,4,5,6,7,9,11,13	$3,400.00	$3,640.00

SR009	Triathlon Knee System Femoral Component 	Posterior stabilised, cemented, CoCr, with ability to add 	Sizes 1 to 8	$3,400.00	$3,640.00

lugs or augments

SR019	Scorpio Knee System  Femoral Component 	Posterior stabilised, cemented, CoCr 	3, 5, 7, 9, 11, 13	$3,400.00

ST984	Scorpio Knee System  Femoral Component 	Posterior stabilised, cemented, CoCr with TiNi surface 	3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 	$3,400.00	$3,640.00

treatment (LFIT - Low Friction Ion Treatment)	Right, 9 Left, 9 Right, 11 Left, 11 Right, 13

Left, 13 Right

Tornier Pty Ltd

TO008	HLS Noetos Femoral Component	Femoral Component, cemented,  CoCr, posterior stabilised	1 - 6 CoCr	$3,400.00

using midline condyle

Zimmer Pty Ltd

ZI421	Natural Knee Femoral Component 	Femoral Component,  Cemented, posterior stabilised, 	Size 00 to 5	$3,400.00	$3,640.00

CoCr

ZI589	NexGen LPS Flex GSF Femoral Components - Option	Cobalt Chrome, High Flex, cemented, posterior stabilised	Sizes GSF C to G, Left to Right	$3,400.00	$4,860.00

Rev

Corin Australia Pty Ltd

CR109	Score Knee System Femoral Component	Femoral Component, CoCr, cemented, Posterior Stabilised	4 sizes in left and right	$6,150.00

Global Orthopaedic Technology

GO113	RBK Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior stabilised 	Size 0 to 5	$6,150.00

Prostheses List by Category, Groups and Sponsor	Page 602 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP268	SROM Noiles Posterior Stabilised Revision femoral 	Posterior stabilised, CoCr, cemented, femoral component	Sizes xxsmall-large	$6,150.00

component

Smith & Nephew Surgical Pty Ltd

SM141	TC (Tri Compartment) PLUS Knee System Femoral 	Femoral Component, CoCr, Cemented posterior stabilised	2-10mm	$6,150.00

Component

Tornier Pty Ltd

TO021	HLS Noetos Revision Femoral Component 	Femoral Component, cemented,  CoCr, posterior stabilised	1 to 6 right and left	$6,150.00

using midline condyle

Zimmer Pty Ltd

ZI119	NexGen LCCK (Legacy Constrained Condylar Knee)  	Femoral component, posterior stabilised, CoCr	A - H (L&R)	$6,150.00	$7,585.00

Femoral Component

ZI423	Natural Knee Femoral Component 	Femoral component, cemented, CoCr, possterior stabilised 	Size 00 to 4 (left & right), 	$6,150.00	$7,585.00

Group 1c - Cemented, Alloy, Totally Constrained

Biomet Australia Pty Ltd

BI180	Maxim Complete Knee System Femoral Component 	Femoral Component, Cemented, CoCr,  totally constrained	60-75mm	$3,500.00	$6,240.00

BI201	AGC Dual Articular  knee System femoral compoment 	Femoral Component, cemented, CoCr, Totally constrained	55 - 75mm	$6,250.00

BI933	Vanguard SSK Knee System	Femoral Component, CoCr, Ti	55 to 80mm	$3,500.00	$6,240.00

Exactech Australia

EX035	Optetrak Total Knee System CCK (Constrained 	Femoral Component, cemented, CoCr, totally stabilised	Size 1 - 6	$3,500.00	$6,240.00

Condylar Knee) Femoral Component

Orthotech Pty Ltd

OH024	Optetrak Total Knee System CCK (Constrained 	Femoral Component, cemented, CoCr, totally stabilised	Size 1 - 6	$3,500.00	$6,240.00

Condylar Knee) Femoral Component

Smith & Nephew Surgical Pty Ltd

SN660	Profix Knee System Femoral Component	Femoral Component, CoCr, Cemented, totally constrained	Left & Right, 2-7	$3,500.00

SN814	Genesis II Knee System Femoral Component	Femoral Component, totally Constrained, CoCr, Cemented	Left & Right size 1-8	$3,500.00

Prostheses List by Category, Groups and Sponsor	Page 603 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN865	Genesis II Knee System Femoral Component	Femoral component, cemented, totally stabilised, CoCr	Left / Right 1 - 8	$3,500.00

SN866	Profix Knee System Femoral Component	Femoral component, cemented, totally stabilised, CoCr	Left / Right 1 - 8	$3,500.00

Stryker Australia Pty Ltd

HW149	Kinemax Knee System Stabilizer Femoral Component	Totally constrained, cemented, CoCr (Vitallium)	XS, S, M, L, XL, XXL	$3,500.00

H

Johnson & Johnson Medical Pty Ltd

DP254	SROM Noiles Knee System femoral component 	Rotating Hinge, cemented, CoCr, SROM & LPS knee 	Sizes xxsmall-large	$6,750.00

systems, with Hinge Pin

Smith & Nephew Surgical Pty Ltd

SM082	'RT (Rotating Hinge) PLUS Knee System Femoral 	Femoral Component, CoCr, Cemented, hinged	0-10	$6,750.00

Component

Zimmer Pty Ltd

ZI305	Nexgen Rotating Hinged Knee Femoral Component	Femoral Component, with a fixed rotating hinge on 	B-F	$6,750.00	$10,500.00

UHMWPE bearings, cemented, CoCr

Rev

Advanced Surgical Technologies

AD143	Advance Revision Knee System	Cemented, grit blasted, totally constrained, femoral 	1, 2, 3, 4, 5	$6,250.00

component, CoCr

Biomet Australia Pty Ltd

BI799	Ascent Total Knee System Femoral Component 	Femoral component, CoCr, cemented, totally constrained	X-Small to X-Large	$6,050.00	$6,240.00

Johnson & Johnson Medical Pty Ltd

DP150	PFC Sigma Knee System TC3 femoral component	Femoral component, cemented, CoCr, totally constrained	Size 1-6	$6,250.00

DY148	LCS Complete Knee System femoral component 	Femoral component, cemented, CoCr, totally constrained	Sizes small to large+	$6,250.00

Smith & Nephew Surgical Pty Ltd

SN851	Legion Knee System Femoral Component	Femoral Component, CoCr, Cemented, totally constrained	Sizes 1-10, Left and Right	$6,250.00

Prostheses List by Category, Groups and Sponsor	Page 604 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK440	Triathlon TS Knee System Femoral Component 	Totally constrained, cemented, CoCr	Left & Right Size 1-8	$6,250.00

SR060	Scorpio Knee System Femoral Component	Totally constrained, CoCr with TiNi surface treatment 	3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 	$6,250.00	$7,280.00

(LFIT - Low Friction Ion Treatment)	Right, 9 Left, 9 Right, 11 Left, 11 Right, 13

Left, 13 Right

ST602	Duracon TS Knee System Femoral Component	Totally constrained, cemented, CoCr (Vitallium)	Extra Small, Small, Medium, Medium Large, 	$6,250.00

Large, Extra Large

Rev, H

Global Orthopaedic Technology

GO169	RBK Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, totally constrained	Size 0 to 5	$6,750.00

Smith & Nephew Surgical Pty Ltd

SM158	Legion Hinge Femur CoCr	The femoral component of the Legion Hinge system.	Size 2 to 7	$6,750.00

Stryker Australia Pty Ltd

HW143	MRH (Modular Rotating Hinge) (Modular Rotating 	MRH Rotating Hinge Femoral component, CoCr 	Left, Right	$6,750.00

Hinge) Femoral Component 	(Vitallium), cemented, w/attachable stem, Fixed

Group 1d - Cemented, Alloy, PMMA coating, Minimally Stabilised

Zimmer Pty Ltd

ZI111	NexGen Knee Femoral Component	Femoral Component, cemented with PMMA, CoCr	A - H (L&R)	$3,900.00	$4,680.00

ZI590	NexGen CR Flex Femoral Components - Precoat	Cobalt Chrome, High Flex, Precoat cemented, Cruciate 	Sizes A to G, Left to Right, GSF C to G Left 	$3,400.00	$4,860.00

retaining	to Right

Rev

Zimmer Pty Ltd

ZI113	NexGen Knee Femoral Component	Femoral Component, cemented with PMMA, CoCr	A - H (L&R)	$6,150.00	$7,860.00

Prostheses List by Category, Groups and Sponsor	Page 605 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 1e - Cemented, Alloy, PMMA coating, Posterior Stabilised

Zimmer Pty Ltd

ZI117	NexGen  Femoral Component	Femoral Component, posterior stabilised, PMMA coating, 	A - H (L&R)	$4,000.00	$4,680.00

cemented, CoCr

ZI588	NexGen LPS Flex Femoral Component - PreCoat	Cobalt Chrome, High Flex, cemented, PMMA coating, 	Sizes A to G, Left to Right	$3,500.00	$4,860.00

posterior stabilised

Group 1g - Cemented, Non-Alloy, Minimally Stabilised

Endotec Australia Pty Ltd

EA007	Buechel-Pappas Ultracoat Total Knee Replacement 	Ceramic Coated, Titanium Femoral and Tibial components 	BP TKR Cemented Primary Femoral sizes 1-	$4,300.00

System (Primary and Revision)	with mobile Polyethelene inserts, all polyethelene patella 	6(inc) Left & Right

ceramic coated, titanium backed polyethylene mobile patella

CS

Smith & Nephew Surgical Pty Ltd

SN879	Genesis II Knee System Femoral Component	Femoral component, Oxinium, cemented	Left / Right 1-9	$4,200.00	$4,992.00

SN880	Profix Knee System Femoral Component	Femoral component, Oxinium, cemented	Left / Right 1-9	$4,200.00	$4,500.00

Group 1h - Cemented, Non-Alloy, Posterior Stabilised

CS

Smith & Nephew Surgical Pty Ltd

SN779	Journey Knee System Femoral Component	Femoral Component, cemented, Oxinium, posterior 	1-10	$4,300.00	$5,189.00

stabilised (bicruciate substitute)

SN883	Genesis II Knee System Femoral Component	Femoral Component, cemented, posterior stabilised, Oxinium	1-9	$4,300.00	$5,189.00

SN884	Profix Knee System Femoral Component	Femoral Component, cemented, posterior stabilised, Oxinium	1-8	$4,300.00	$4,600.00

Group 1i - Cemented, Non-Alloy, Totally Constrained

REV

Smith & Nephew Surgical Pty Ltd

SN736	Legion Knee System Femoral Component	Femoral Component, Oxinium, Cemented, totally 	Size 1 - 9	$7,500.00	$8,320.00

constrained

Prostheses List by Category, Groups and Sponsor	Page 606 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Rev, H

Advanced Surgical Technologies

AD253	Guardian Limb Salvage System	Resurfacing Femur with extensive distal femoral buildup 	2, 3, 4, Left & Right	$7,540.00

Group 1j - Uncemented, Alloy,Minimally Stabilised

Advanced Surgical Design & Manufacture Ltd

AE116	3D Knee System - Femoral Component, porous	CoCro femoral component, with 3D porous coating for 	Left Sizes 1,2,4,6,8,10,12 and Right Sizes 	$3,700.00

cementless fixation, Left and Right specific with deepened 	1,2,4,6,8,10,12

trochlea, congruent lateral condyle and single radii of

curvature to decrease tibiofemoral contact stresses

Advanced Surgical Technologies

AD168	Advantim Total Knee System	Beaded Femoral Component, CoCr 	Small, Medium, Large, Xlarge	$3,500.00

AD300	Advance Total Knee System	Uncemented, beaded, non HA, CoCr, usually used with a 	1, 2, 3, 4, 5, 6	$3,700.00

anterior lipped insert

B Braun Australia Pty Ltd

BB234	Columbus Total Knee System (TKS) Femoral 	Femoral Component, uncemented, CoCr, Titanium plasma 	F1 - F7, Left and Right	$3,700.00

Component 	spray (Plasmapore)

Biomet Australia Pty Ltd

BI159	AGC System femoral component 	Femoral Component, uncemented, CoCr with titanium 	55-80mm	$3,700.00	$4,010.00

plasma sprayed surface (Porous plasma spray PPS) left

and right sided (anatomic),

BI167	Maxim Complete Knee System Femoral Component 	Femoral Component,   uncemented, CoCr with titanium 	55-80mm	$3,700.00	$4,010.00

plasma sprayed surface (Porous plasma spray PPS)

BI886	Vanguard Total Knee System	Femoral Component, CR, uncemented, anatomic, CoCr, Ti	55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left 	$3,700.00	$4,130.00

and Right

Endotec Australia Pty Ltd

EA006	Buechel-Pappas Ultracoat Total Knee Replacement 	Ceramic Coated, Titanium Femoral and Tibial components 	BP TKR Ultracoat Primary Femoral sizes 1-	$5,300.00

System (Primary and Revision)	with mobile Polyethylene inserts, all polyethylene patella 	6(inc) Left & Right

ceramic coated, titanium backed polyethylene mobile patella

Prostheses List by Category, Groups and Sponsor	Page 607 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ESKA Australia

EK030	ST Femoral Replacement	Femoral component, uncemented, Spongiousa metal, 	s-small, small, medium, large, x-large. Height -	$3,700.00

titanium and CoCr	 8, 10, 12, 14mm

EK033	RP (Rotating Platform) femoral component	Femoral component, uncemented, Spongiousa metal, 	s-small, small, medium, large, x-large	$3,700.00

titanium and CoCr

Global Orthopaedic Technology

GO195	Apex Knee Reconstruction System, CR Femoral 	CR Femoral Component Porous Coated Size 1 to 6 left & 	Size 1 Left & Right, size 2 left & Right, size 3 	$3,700.00

Component Porous Coated	Right.	Left & Right, size 4 Left & Right, size 5 left &

Right, size 6 Left & Right

Johnson & Johnson Medical Pty Ltd

DP003	LCS Complete Knee System femoral component 	Femoral component, uncemented, CoCr, beaded 	Sizes small to large+	$4,200.00

(Porocoat)

DP148	PFC Sigma Knee System femoral component	Femoral component, uncemented, CoCr, Beaded	Size 1-6	$3,700.00

JJ606	PFC Sigma Knee System femoral component	Femoral component, uncemented, CoCr, beaded 	Size 1-6	$3,700.00

(Porocoat)

Mathys Orthopaedics Pty Ltd

MA457	Balansys Femoral Component	Femoral component, uncemented, beaded, CoCr	A, B, C, D, E Left & Right	$3,700.00

Medacta Australia Pty Ltd

MU038	Evolis Knee System Femoral Component 	Femoral component, uncemented, CoCr, titanium plasma 	1 - 6, left to right	$3,700.00

spray

Smith & Nephew Surgical Pty Ltd

SM052	VKS (Vario) Knee System Femoral Component	Femoral Component, CoCr, uncemented, Titanium Plasma 	1-6	$3,700.00

Spray (Vacuum spray and triple layer)

SN326	'Genesis II Knee System Femoral Component	Femoral Component, CoCr, uncemented, beaded	Left/Right Size 1-8	$3,700.00

SN375	Profix Knee System Femoral Component	Femoral Component, CoCr, uncemented, beaded	Left/Right Size 1-8	$3,700.00

Stryker Australia Pty Ltd

HW075	Duracon Knee System Femoral Component	Minimally stabilised, uncemented, beaded, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-	$3,700.00

Large

Prostheses List by Category, Groups and Sponsor	Page 608 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW397	Duracon Knee System Femoral Component	Minimally stabilised, uncemented, beaded, with removable 	Small, Medium, Medium-Large, Large, Extra-	$3,700.00

lugs and capacity to attach box , CoCr (Vitallium), 	Large

HW401	Kinemax Knee System Femoral Component	Minimally stabilised, uncemented, beaded, CoCr, (Vitallium)	XS, S, M, L, XL, XXL	$3,700.00

SK387	Triathlon Knee System Femoral Component 	Minimally stabilised, uncemented, beaded, CoCr	1 to 8	$3,700.00	$3,952.00

ST033	Scorpio Knee System Femoral Component	Minimally stabilised, uncemented, beaded, (microstructure),	3,5,7,9,11,13	$3,700.00

CoCr

Zimmer Pty Ltd

ZI109	NexGen Knee Femoral Component 	Femoral Component, uncemented, CoCr plus titanium fibre	A - H (L&R)	$4,200.00	$5,050.00

metal mesh ingrowth

ZI418	Natural Knee Femoral Component CSTi	Femoral Component, uncemented, CoCr, with Cancellous 	Size 00 to 5	$3,700.00	$3,950.00

Structured Titanium ingrowth surface

ZI558	Natural Knee II Flex Femur CSTi	Femoral Component, uncemented, CoCr, with cancellous 	Sizes 1 to 5 GSM Left & Right and Sizes 0 to	$3,700.00	$4,670.00

structure titanium ingrowth CSTi High Flex 	 4 GSF Left and Right

ZI591	NexGen CR Flex Femoral Components - Uncemented	Cobalt Chrome, High Flex, Uncemented, Cruciate retaining	Sizes A to G, Left to Right, GSF C to G Left 	$3,700.00	$5,050.00

to Right

CS

Johnson & Johnson Medical Pty Ltd

DY373	LCS Complete Knee System femoral component	Femoral component, uncemented, Porocoat, beaded 	Sizes small to large+	$4,350.00

Titanium with TiN surface treatment

CS, Rev

Endotec Australia Pty Ltd

EA013	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral Component, Titanium, uncemented, beaded, TiNi 	 1-6(inc) Left & Right	$3,850.00	$5,450.00

System Femoral Component 	articular and bone surface treatment

Rev

Advanced Surgical Technologies

AD214	Advance Total Knee System	Stemmed Condylar medial pivot component, uncemented, 	1, 2, 3, 4, 5, All in left & right	$6,650.00

beaded, non HA, CoCr used with anterior lipped insert,

minimally constrained

Prostheses List by Category, Groups and Sponsor	Page 609 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 1k - Uncemented, Alloy, Posterior Stabilised

Biomet Australia Pty Ltd

BI165	AGC System femoral component 	Femoral Component, uncemented, CoCr with titanium 	55-80mm	$3,800.00

plasma sprayed surface (Porous plasma spray PPS) left

and right sided (anatomic), posterior stabilised

BI174	Maxim Complete Knee System Femoral Component 	Femoral Component,   uncemented, CoCr with titanium 	55-80mm	$3,800.00	$3,890.00

plasma sprayed surface (Porous plasma spray PPS),

posterior stabilised

BI910	Vanguard Rotating Platform Femoral Component	Femoral Component, uncemented, CoCr, Titanium plasma 	60 - 75mm	$3,800.00

sprayed surface (Porous plasma spray PPS), Posterior

Stabilised

BI951	Vanguard Total Knee System	Femoral Component, Posterior Stabilised, anatomic, 	55-80	$3,800.00

Plasma Porous Coated, CoCr & Ti alloy

Exactech Australia

EX037	Optetrak Hi Flex Femoral Component 	Femoral Component, uncemented, CoCr beaded, high flex 	1-6	$3,800.00	$3,850.00

(Hi Flex), posterior stabilised

Medacta Australia Pty Ltd

MU039	Evolis Knee System Femoral Component 	Femoral component, uncemented, CoCr, titanium plasma 	1 - 6, left to right	$3,800.00

spray, posterior stabilised

Orthotech Pty Ltd

OH234	Optetrak Hi Flex Femoral Component 	Femoral Component, uncemented, CoCr beaded, high flex 	1-6	$3,800.00	$3,850.00

(Hi Flex), posterior stabilised

Smith & Nephew Surgical Pty Ltd

SM071	TC (Tri Compartment) PLUS Knee System Femoral 	Femoral Component, CoCr, uncemented,Titanium Plasma 	2-12	$3,800.00

Component	Spray (Vacuum spray and triple layer), posterior stabilised

SN873	Genesis II Knee System Femoral Component	Femoral component, CoCr, cementless, beaded, posterior 	Left / Right 1-8	$3,800.00

stabilised

SN874	Profix Knee System Femoral Component	Femoral component, CoCr, cementless, beaded, posterior 	Left / Right 1-8	$3,800.00

stabilised

Prostheses List by Category, Groups and Sponsor	Page 610 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK386	Triathlon Knee System Femoral Component	Posterior stabilised, uncemented, beaded, CoCr	Sizes 1 to 8	$3,800.00	$3,952.00

SR007	Scorpio Knee System Femoral Component	Posterior stabilised, CoCr, uncemented, beaded, 	3,5,7,9,11,13	$3,800.00

(microstructured), with TiNi surface treatment (LFIT - Low

friction ion treatment)

Zimmer Pty Ltd

ZI115	NexGen Knee Femoral Component	Femoral Component, uncemented, CoCr plus titanium fibre	A - H (L&R)	$4,300.00	$5,050.00

metal mesh ingrowth, posterior stabilised

ZI419	Natural Knee Femoral Component CSTi	Femoral Component, uncemented, CoCr, with Cancellous 	Size 00 to 5	$3,800.00	$4,440.00

Structured Titanium ingrowth surface, posterior stabilised

ZI592	NexGen LPS Flex Femoral Components - Uncemented	Cobalt Chrome, High Flex, Uncemented, Posterior stabilised	Sizes A to G, Left to Right, GSF C to G Left 	$3,800.00	$5,050.00

to Right

Rev

Advanced Surgical Technologies

AD185	Advantim / Ortholoc Revision Knee	Femoral component CoCr Revision beaded varying distal 	Small, Medium, Large, Xlarge	$6,550.00

and posterior buildups

AD186	Advantim / Ortholoc Revision Knee	Femoral component CoCr Posterior Stabilised, beaded, 	Small, Medium, Large, Xlarge	$6,550.00

without buildup

Group 1l - Uncemented, Alloy, Totally Constrained

Rev

Johnson & Johnson Medical Pty Ltd

DY149	LCS Complete Knee System femoral component 	Femoral component, uncemented, CoCr, beaded 	Size 1 - 6 including narrow sizesss small to 	$6,850.00

(Porocoat), totally constrained 	large

Smith & Nephew Surgical Pty Ltd

SN383	Profix Knee System Femoral Component	Femoral Component, CoCr, uncemented, beaded, totally 	Right/Left Size 1-7	$6,850.00

constrained

Group 1m - Uncemented, Alloy, HA coating, Minimally Stabilised

Advanced Surgical Design & Manufacture Ltd

AE041	Active Knee Femoral Component 	Femoral Component, uncemented, distally beaded with HA	Sizes 00 -- 5 Left & Right	$4,100.00

Prostheses List by Category, Groups and Sponsor	Page 611 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Advanced Surgical Technologies

AD299	Advance HA Coated Femoral Component	Uncemented, beaded, HA, CoCr, usually used with a 	1 - 6 Left and Right	$4,100.00	$4,272.00

anterior lipped insert

B Braun Australia Pty Ltd

BB232	Emotion Total Knee System (TKS) Femoral Component	Femoral Component, uncemented, CoCr Titanium plasma 	F1 - F8, Left and Right	$4,100.00

spray (Plasmapore), HA coated

Biomet Australia Pty Ltd

BI962	Vanguard Total Knee System	Femoral Component, Cruciate Retaining, Anatomic, HA, 	55 - 80	$4,100.00	$4,260.00

Plasma Porous Coated, CoCr & Ti alloy

Corin Australia Pty Ltd

CR011	Rotaglide + Total Knee System, Femoral Component	Femoral Component, uncemented, CoCr, stippled surface, 	Ex Sml - Ex Lge	$4,100.00

titanium plasma spray with HA, pegged

CR014	Rotaglide + Total Knee System, Femoral Component	Femoral Component, uncemented, CoCr, stippled surface, 	Ex Sml - Ex Lge	$4,100.00

titanium plasma spray with HA, stemmed

CR107	Score Knee System Femoral Component	Femoral Component, CoCr, uncemented, stippled surface, 	7 Sizes	$4,100.00

titanium plasma spray with HA, pegged

Finsbury Orthopaedics Australia Pty Ltd

FI026	DBK (Dual Bearing Knee) Total Knee System Femoral 	Femoral Component, uncemented, CoCr with stippled 	Sizes 1-6, Left and Right	$4,100.00

Component 	surface titanium plasma spray HA coated

FI029	MRK (Medial Rotation Knee) Total Knee System 	Femoral Component, uncemented, CoCr with stippled 	0-5 Left and Right	$3,700.00	$4,100.00

Femoral Component 	surface titanium plasma spray HA coated

FI053	Saiph Knee System Femoral Component Cementless	CoCr Polished Cementless Femoral Component, Porous 	1 - 8 Left & Right	$4,100.00

Titanium and HA

Global Orthopaedic Technology

GO007	RBK Total Knee System Femoral Component	Femoral Component, uncemented,  beaded, CoCr with 	1-5	$4,100.00

HA

Johnson & Johnson Medical Pty Ltd

JJ462	LCS Complete Knee System femoral component	Femoral component, CoCr, uncemented, beaded, HA 	Sizes small to large+	$4,600.00

(Duofix)

Prostheses List by Category, Groups and Sponsor	Page 612 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Link Orthopaedics  Australia

LO128	Link Gemini Femoral Component 	Femoral Component, uncemented, CoCr, microporous, 	Extra Small - Extra Large	$4,100.00

HX  Coating (hydroxy apatite)

Medacta Australia Pty Ltd

MU066	GMK Uncemented Standard Femur	Uncemented standard femoral component with titanium 	1 to 6, left and right	$4,100.00

porous covered by an hydroxyapatite coating

Smith & Nephew Surgical Pty Ltd

SN877	Genesis II Knee System Femoral Component	Femoral component, CoCr, cementless, beaded, HA	Left / Right 1-8	$4,100.00

SN878	Profix Knee System Femoral Component	Femoral component, CoCr, cementless, beaded, HA	Left / Right 1-8	$4,100.00

Stryker Australia Pty Ltd

HW077	Duracon Knee System Femoral Component 	Minimally stabilised, uncemented, beaded with PA 	Small, Medium, Medium-Large, Large, Extra-	$4,100.00

(Hydroxyapatite), CoCr 	Large

SK325	Triathlon Knee System Femoral Component 	Minimally stabilised, CoCr, uncemented, beaded with PA 	Sizes 1 to 8	$4,100.00	$4,264.00

(Hydroxyapatite)

SK334	Scorpio NRG Knee System Femoral Component	Minimally stabilised, uncemented, with Hydroxyapatite, 	Sizes 3,4,5,6,7,9,11,13	$4,100.00	$4,264.00

CoCr

ST030	Scorpio Knee System Femoral Component	Minimally stabilised, uncemented, beaded (microstructure) 	3,5,7,9,11,13	$4,100.00

with PA, (Hydroxyapatite), CoCr,

Zimmer Pty Ltd

ZI110	NexGen Knee Femoral Component 	Femoral Component, uncemented, CoCr plus titanium fibre	A - H (L&R)	$4,600.00	$5,050.00

metal mesh ingrowth and HA/TCP, cruciate retaining

Group 1n - Uncemented, Alloy, HA coating, Posterior Stabilised

Biomet Australia Pty Ltd

BI887	ROCC Femoral Component 	Femoral Component, uncemented, Titanium plasma 	1-8	$4,200.00	$4,460.00

sprayed surface (Porous plasma spray PPS) with HA

BI911	Vanguard Rotating Platform Femoral Component	Femoral Component, uncemented, CoCr, Titanium plasma 	60 -75mm	$4,200.00	$4,460.00

sprayed surface (Porous plasma spray PPS) with HA,

Posterior Stabilised

Prostheses List by Category, Groups and Sponsor	Page 613 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI958	Vanguard Total Knee System	Femoral Component, Posterior Stabilised, Anatomic, HA, 	55-80	$4,200.00	$4,270.00

Plasma Porous Coated, CoCr & Ti Alloy

Medacta Australia Pty Ltd

MU051	Cinétique Knee System Femoral Component 	Femoral component, uncemented, CoCr, with titanium 	Sizes 1 to 6, Left and Right	$4,200.00

micro beads, with HA, posterior stabilised

MU078	GMK Uncemented Posterior stabilised femur	uncemented posterior stabilised femoral component with 	1 to 6, left to right	$4,200.00

titanium porus coating covered by an hydroxyapatite coating

Stryker Australia Pty Ltd

HW398	Duracon Knee System Femoral Component	Posterior stabilised, uncemented, beaded with PA 	Small, Medium, Medium-Large, Large, Extra-	$4,200.00

(Hydroxyapatite), CoCr, 	Large

SR004	Scorpio NRG Knee System Femoral Component	Posterior stabilised, uncemented with Hydroxyapatite, 	Sizes 3,4,5,6,7,9,11,13	$4,200.00

CoCr,

SR006	Scorpio Knee System Femoral Component	Posterior stabilised, uncemented, beaded (microstructure) 	3,5,7,9,11,13	$4,200.00

with PA (Hydroxyapatite), CoCr

SR024	Triathlon Knee System Femoral Component	Posterior stabilised, uncemented, beaded with PA 	Size 1 - 8	$4,200.00

(Hydroxyapatite), CoCr

Tornier Pty Ltd

TO018	HLS Noetos Femoral Component	Femoral Component, uncemented,  HA coated, CoCr, 	1 - 6 CoCr	$4,200.00	$4,500.00

posterior stabilised using midline condyle

Zimmer Pty Ltd

ZI062	NexGen Knee Femoral Component	Femoral Component, uncemented, high flex, CoCr plus 	Sizes A-G Left & Right	$4,200.00	$5,020.00

titanium fibre metal mesh ingrowth and HA/TCP, posterior

stabilised

Knee - Femoral Component: Two-compartmental Arthroplasty

Group 12c: Cemented, non-Alloy

CS

Smith & Nephew Surgical Pty Ltd

SN835	Journey Deuce Bicompartment Femoral Component 	Bicompartment Femoral Component, cemented, Oxinium 	1-8	$4,300.00

Prostheses List by Category, Groups and Sponsor	Page 614 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Knee - Femoral Component: Uni-Compartmental Knee Replacement

Group 1a - Cemented, Alloy, Minimally Stabilised

Global Orthopaedic Technology

GO123	3D Knee System Femoral Component 	Femoral Component, cemented, CoCr 	Size 2 to 12	$3,300.00

Group 1j - Uncemented, Alloy,Minimally Stabilised

Global Orthopaedic Technology

GO124	3D Knee System Femoral Component 	Femoral Component, uncemented,  beaded, CoCr	Size 2 to 12	$3,700.00

Group 2a - Cemented, Alloy

Advanced Surgical Technologies

AD205	Advance-Unicondylar Knee System	Uni Femoral component, cemented, CoCR 	Sizes 1, 2, 3, 4	$2,300.00

Biomet Australia Pty Ltd

BI031	Oxford Meniscal Knee System Uni Femoral Component 	Uni Femoral Component, CoCr, Cemented (Phase III)	Small, Medium, Large, Extra Large.	$2,300.00	$2,816.00

BI203	Repicci II Unicondylar Knee System Uni femoral 	Uni Femoral Component, Cemented, CoCr 	45-60mm	$2,300.00	$2,900.00

component

Exactech Australia

EX044	Optetrak Uni Condylar Knee System Femoral 	Uni Femoral Component, cemented, CoCr	1-6	$2,300.00	$2,500.00

Component

Global Orthopaedic Technology

GO032	Global re-surfacing uni-compartmental knee femoral 	Uni Femoral component, CoCr, cemented 	Size 1-5 Right medial/left lateral; Size 1-5 Left	$2,300.00	$3,328.00

component	 medial/right lateral

Johnson & Johnson Medical Pty Ltd

DY112	Preservation Knee System uni femoral component  	Uni femoral component, cemented, CoCr	Size 1-5	$2,300.00

JJ781	Sigma HP Unicompartmental Knee - Unicondylar 	Unicompartmental femoral component, cemented, CoCr	Size 1-6, LM/RL & RM/LL	$2,300.00

femoral component

Link Orthopaedics  Australia

LO059	LINK Endo-Model SLED Uni femoral componet 	Uni Femoral Component, cemented, CoCr	Short, medium-short, medium & large  	$2,300.00

Prostheses List by Category, Groups and Sponsor	Page 615 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA451	BalanSys UNI femoral component 	Uni Femoral component, cemented CoCr	A, B,C,D,E	$2,300.00	$2,800.00

Medacta Australia Pty Ltd

MU060	Unicompartmental femoral component	cemented unicompartmental femoral component	1 to 4	$2,300.00

Orthotech Pty Ltd

OH230	Optetrak Uni Condylar Knee System Femoral 	Uni Femoral Component, cemented, CoCr	1-6	$2,300.00	$2,500.00

Component

Smith & Nephew Surgical Pty Ltd

SM049	UC (Unicompartment) PLUS Solution Knee System Uni 	Uni Femoral Component, CoCr, cemented	Femoral - 4, 6, 8, 10.	$2,300.00

Femoral Component

SM157	Journey Uni Femur- Cocr	Uni Femur - CoCr - It is UniCondylar Femur	Size 1 to Size 7	$2,300.00

SN338	Genesis Uni Femoral Component	Uni Femoral component, CoCr, cemented	X-Small - Magnum Plus	$2,300.00

Stryker Australia Pty Ltd

SR052	Freedom PKR / Active Unicompartmental Knee System 	Uni Femoral component, cemented with hydroglaze 	All sizes for Femoral Component	$2,300.00

Femoral Component 	(Electro-polished surface), CoCr

SR083	Triathlon PKR - Cemented Femoral Component	Triathlon PKR - Uni Femoral Component, CoCR, 	12 -Femurs in total: 1 through to 6, Left 	$2,300.00

Cemented	Media/Right lateral + 1 through to 6, Right

Media/Left Lateral

ST055	EIUS Unicompartmental Knee System Femoral 	Uni Femoral component, cemented, CoCr	XS, S, M, L, XL	$2,300.00

Component

Tornier Pty Ltd

TO007	HLS Uni Femoral Component 	Femoral Component - Cemented, CoCr	1 - 4 CoCr	$2,300.00

Zimmer Pty Ltd

ZI401	Allegretto Unicompartmental Knee Femoral Componen	Uni Femoral component, cemented, CoCr	Size 1 to 3, Size 1+ to 3+	$2,300.00	$2,670.00

Cs

Corin Australia Pty Ltd

CR059	Uniglide Uni Knee System Uni Femoral Component	Uni Femoral Component, CoCr, cemented, with TiNi 	1-4	$2,450.00

surface  coating

Prostheses List by Category, Groups and Sponsor	Page 616 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 2b - Cemented, Alloy, PMMA coating

B Braun Australia Pty Ltd

BB197	Emotion Unicondylar Knee System Uni Femoral 	Uni Femoral Component, cemented, CoCr, with PMMA 	F1 - F8, Left and Right	$2,300.00

Component

Zimmer Pty Ltd

ZI106	Miller Galante  Unicompartmental Femoral Compoment 	Femoral Component, Co Cr, Cemented for fixed insert  	Small to extra large 	$2,300.00

ZI494	ZUK (Zimmer Uni-Compartmental High Flex Knee) 	Femoral Component, cemented, CoCr, high flex 	Sizes A to G	$2,300.00

Femoral Component

Group 2c - Cemented, non-Alloy

Smith & Nephew Surgical Pty Ltd

SN710	Genesis Uni Femoral Component	Uni Femoral component, Oxinium, cemented	X-Small - Magnum	$2,825.00

? CS (ceramic surface)

Smith & Nephew Surgical Pty Ltd

SM156	Journey Uni Femur-Oxinium	Uni Femur - Oxinium - It is UniCondylar Femur	Size 1 to Size 7 Please refer to the pocket 	$2,825.00

guide

Group 2d - Uncemented, Alloy

Biomet Australia Pty Ltd

BI967	Oxford Meniscal Knee System	Femoral Component, Porous Coated, CoCr Ti	Small - Extra Large	$2,500.00

Lifehealthcare Pty Ltd

LH304	HemiCAP Contoured Articular Knee System 	Articular resurfacing component - CoCr with titanium 	Articular Component 15mm - 0.5mm x 	$2,300.00

Resurfacing Component 	plasma spray 	0.5mm to 2.0mm x 2.0mm offset;  Articular

Component 20mm - 1.0mm x 1.0mm to

4.0mm x 4.0mm offset; 6 x 2mm to 10 x 3mm

Offset

Zimmer Pty Ltd

ZI428	Natural Knee	Unicompartmental - Femur  - Ti/CoCr alloy	Size 1 to 7	$2,300.00

Prostheses List by Category, Groups and Sponsor	Page 617 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 2e - Uncemented, Alloy, HA coating

Biomet Australia Pty Ltd

BI966	Oxford Meniscal Knee System	Femoral Component, Porous HA Coated CoCr, Ti, HA	Small - Extra Large	$2,500.00

Stryker Australia Pty Ltd

ST655	UNIX Unicompartmental Knee System Femoral 	Uni Femoral component, uncemented with Hydroxyapatite,	1, 2, 3, 4	$2,500.00

Component	 CoCr

Cs

Corin Australia Pty Ltd

CR058	Uniglide Uni Knee System Uni Femoral Component	Uni femoral component, CoCr, uncemented, Titanium 	1-4	$2,650.00

plasma spray, with calcium phosphate (HA) ingrowth

surface with TiNi articular surface coating

Knee - Patellar Components

Group 9a - Cemented, all polyethylene

Advanced Surgical Design & Manufacture Ltd

AE050	Active Knee Patella	Patella, cemented, UHMWPE 	Sizes 1 - 5	$600.00

AE112	3D Knee System - Patella	All poly domed patella, for cemented use	26, 29, 32, 35 and 38mm diameters	$600.00

Advanced Surgical Technologies

AD137	Advance Total Knee System patella components	All poly patella, recessed and onlay	25, 28, 32, 35, 38, 41mm	$600.00

AD174	Advantim Total Knee System	Patella All Poly UHMWPE	25,28,32mm	$600.00

B Braun Australia Pty Ltd

BB202	Emotion Total Knee System (TKS) Patellar Component 	All poly patellar, UHMWPE cemented, 3 pegs, onlay	P1 to P6, 26 - 41 x 7 - 12mm	$600.00

BB208	Columbus Total Knee System (TKS) Patellar 	All poly patellar, UHMWPE cemented, 3 pegs, onlay	P1 - P4	$600.00

Component

Biomet Australia Pty Ltd

BI176	Biomet Universal Patellar component	All poly Patella, cemented, UHMWPE, domed  	size 25 to 37mm	$600.00

Prostheses List by Category, Groups and Sponsor	Page 618 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI899	ROCC Patellar Component 	All poly Patella, cemented, UHMWPE, anatomically 	1-8	$600.00	$650.00

shaped

Corin Australia Pty Ltd

CR005	Rotaglide + Total Knee System, Patella Component 	All poly patellar, cemented, UHMWPE, 3 pegs domed and	Sml (35/29mm)) - Lg (43/37mm)	$600.00

asymmetric

CR103	Score Knee System Patellar Component 	All poly patella UHMWPE, cemented 	6 Diameters	$600.00

Endotec Australia Pty Ltd

EA012	Buechel-Pappas Ultracoat Total Knee Replacement 	All poly patella, cemented, 3 pegs 	 1-6(inc)	$600.00

System Patellar Component

ESKA Australia

EK024	RP (Rotating Platform) patella component	Patella, all polyethylene (UHMWPE), can be used either 	small, medium, large	$600.00

cemented or uncemented

Exactech Australia

EX038	Optetrak Total Knee System	Patellar	26-41mm	$600.00	$650.00

Finsbury Orthopaedics Australia Pty Ltd

FI009	DBK (Dual Bearing Knee) Total Knee System Patella 	All Poly Patella, UHMWPE, cemented, 3 pegs 	S/M/L Form, 23-26-30-34 diameter	$600.00

Component

FI012	MRK (Medial Rotation Knee) Total Knee System 	All Poly Patellar, UHMWPE, 1 central peg, This is a 	20-30mm	$600.00

Patellar Component	uncemented poly button

FI057	Saiph Knee System Patella Component	Inset or Onset Polyethylene Patella Component	Small & Large, 16mm - 28mm	$600.00

Global Orthopaedic Technology

GO001	RBK Total Knee System Patella component	Patella component All poly, UHMWPE, cemented, 3 pegs	24mm - 40mm	$600.00

GO128	3D Knee System Patellar component 	All poly, cemented patella, 3 pegs 	Size 26 to 38mm	$600.00

GO189	APEX Knee Reconstruction System, All-Poly 3 Peg 	All-Poly Dome 3 Peg Patella	29mm x 10mm & 8mm, 32mm x 10mm & 	$600.00

Dome Patella, Size 29mm to 41mm x 8mm to 10mm	8mm, 35mm x 10mm & 8mm, 38mm x 10mm

& 8mm, 41mm x 10mm

Johnson & Johnson Medical Pty Ltd

DP152	PFC Sigma Knee System patella component	Cemented, all poly, oval dome, round dome and inset 	25-50mm	$600.00

patella

DP264	SROM Noiles Knee System patella	All poly, cemented patella 	Sizes 25 - 38mm	$600.00

DP377	AMK Patella 	All poly, cemented 	Size 30 - 38mm	$600.00

Prostheses List by Category, Groups and Sponsor	Page 619 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP524	LCS Complete Knee System patella component 	All Poly patella, UHMWPE, cemented	Sizes small to large+	$600.00

Lifehealthcare Pty Ltd

LH407	HemiCAP Patello-Femoral Resurfacing System - Patella 	An all-polyethylene patella resurfacing device used alone or	Anatomic Components:  20mm: 1.0mm x 	$600.00

Component	 in conjunction with a femoral trochlear component  	2.5mm, increasing in 0.5mm increments to

Available in  2 configurations Button and Anatomic	1.0mm x 4.5mm; Button Components:  20mm:

2.5mm x 2.5mm, increasing in 0.5mm

increments to 4.5mm x 4.5mm

Link Orthopaedics  Australia

LO042	LINK Endo Model Knee Patella Component 	Patella Component, UHMWPE, cemented	Small, medium & large	$600.00

LO057	LINK Lubinus Total Patella Glide Replacement (patella 	Patella Component, UHMWPE, cemented	Small, medium & large	$600.00

component)

Mathys Orthopaedics Pty Ltd

MA111	Balansys Patella Component	All Polyethylene, UHMWPE, cemented 	Dia 25, 28, 31, 34, 37mm	$600.00

Medacta Australia Pty Ltd

MU031	Evolis Knee System Patella Component 	All poly patella, cemented, UHMWPE, recessed single peg 	20, 24,28mm diam	$600.00

MU041	Cinétique Knee System Patella Component   	All Poly Patella, UHMWPE, cemented, dome with 3 pegs	3 sizes: Size#1-2; #3-4; #5-6	$600.00

MU061	GMK  Inset Patella	Inset cemented polyethylene patella	sizes 1-2; 3-4; 5-6 (20/24/28mm diameter)	$600.00

MU072	GMK Resurfacing Patella	resurfacing three pegged cemented polyethylene patella	size 1- 2, 3-4, 5-6	$600.00

Orthotech Pty Ltd

OH023	Optetrak Total Knee System	Patellar	26-41mm	$600.00	$650.00

Smith & Nephew Surgical Pty Ltd

SN323	Genesis II Patella Component	Patella Component, Inlay, cemented, UHMWPE, can be 	23-35mm 	$600.00

used for multiple systems (Genesis II, Journey PFJ, Journey

Deuce, Legion)

SN350	Genesis Knee System Patella Component	Patella Component, cemented, all poly, UHMWPE	X-Small - Large	$600.00

SN382	Profix Knee System Patella Component	Patella Component, UHMWPE, Inset and Onlay, 	23-35mm	$600.00

cemented

Prostheses List by Category, Groups and Sponsor	Page 620 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN394	Mod III Patella Femoral Component	Patella Component, UHMWPE, Onlay, cemented, for 	Mini-Large	$600.00

Mod III

Stryker Australia Pty Ltd

HW105	Duracon Knee System Patella Component	Patella component, UHMWPE (Duration), cemented	Small, Medium, Large, Xlarge	$600.00

HW140	Kinemax Knee System Patella Component	Patella component Symmetric & Asymmetric, UHMWPE 	Small, Medium, Large	$600.00

(Duration), cemented

HW182	PCA Modular Knee System Patella Component	Patella component, UHMWPE, (Duration), cemented	Small, Medium, Large, Extra Large	$600.00

SK314	Avon Patello Femoral System Patella Component	Patella component, UHMWPE (Duration), Fixed, 	Small, Medium, Large	$600.00

cemented

SK323	Triathlon Knee System Patella Component	Patella Component, Cemented,  Asymmetric & Symmetric,	Symmetric: 27mm x 8mm, 29mm x 8mm, 	$600.00

(X3) UHMWPE	31mm x 9mm, 33mm x 9mm, 36mm x 10mm,

39mm x 11mm; Assymetric: 29mm x 9mm,

32mm x 10mm, 35mm x 10mm, 38mm x

11mm, 40mm x 11mm

SK415	Scorpio Knee System Patella Component	Patella Component, Inset, Recessed, Medialized dome, 	Concentric & Medialized Dome patella sizes: 	$600.00

Universal Dome, Concentric Dome, UHMWPE (X3), 	5, 7, 9 & 11; Universal Dome patella sizes: 3,

Fixed, Cemented	5, 7, 9 & 11; Inset & Recessed patella sizes:

26, 28, 30 and 32mm

SK419	Triathlon Knee System Patella Component	Patella Component, Cemented,  Asymmetric, (X3) 	29 (X3)3 x 9mm, 32 x 36 x 10mm, 35 x 39 x 	$600.00

UHMWPE	10mm, 38 x 42x 11mm, 40 x 44 x 11mm

ST636	Scorpio Knee System & S7000 Knee System Patella 	Patella component, Inlay, UHMWPE (N2VAC), cemented	3, 5, 7, 9, 11, 13	$600.00

Component

Tornier Pty Ltd

TO009	HLS Noetos System patella 	Patella, cemented, UHMWPE 	small, medium, large	$600.00

Zimmer Pty Ltd

ZI071	Insall-Burstein II Patella Component	All poly, cemented, patella, UHMWPE	32 - 41mm	$600.00	$640.00

ZI093	Miller Galante II Patella 	All poly Patella, cemented, UHMWPE	32 - 41mm	$600.00	$640.00

ZI148	NexGen Patella Component   	Ally poly, cemented, patella, UHMWPE	26 - 41	$600.00	$640.00

ZI432	Natural Knee Patella 	All poly patella, cemented, UHMWPE	Size 0/7mm to 3/10 mm	$600.00	$640.00

Prostheses List by Category, Groups and Sponsor	Page 621 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 9b - Cemented, polyethylene metal backed, mobile

Biomet Australia Pty Ltd

BI903	ROCC Patellar Component 	Patella Component, cemented, metal backed, CoCr,  with 	1-8	$1,352.00	$1,410.00

mobile poly

Johnson & Johnson Medical Pty Ltd

DP523	LCS Complete Knee System patella component 	Metal backed, CoCr, rotating, cemented 	Sizes small to large+	$1,352.00

JJ669	LCS Patellofemoral Joint Prosthesis (patellar component	Metal backed, CoCr, rotating, cemented, patella	Sizes small to large+	$1,352.00

Medacta Australia Pty Ltd

MU045	Cinétique Knee System Patella Component   	Patella component, metal backed, CoCr cemented, with 	3 Sizes: Size #1-2; #3-4; #5-6	$1,352.00

mobile poly

CS

Medacta Australia Pty Ltd

MU046	Cinétique Knee System Patella Component   	Patella component, metal backed, CoCr cemented, with 	3 sizes: Size #1-2; #3-4; #5-6	$1,352.00

mobile poly and TiNi (TiNbN) insert surface treatment

Group 9c - Cemented, polyethylene metal backed, moulded

Biomet Australia Pty Ltd

BI194	Rotating Platform Knee System	Patella Button, UHMWPE, Chrome Cobalt	Size 25 to 37mm	$600.00

Group 9d - Uncemented, polyethylene metal backed, mobile

Biomet Australia Pty Ltd

BI901	ROCC Patellar Component 	Patella Component, uncemented, metal backed, Titanium 	1-8	$1,352.00	$1,450.00

plasma sprayed surface (Porous plasma spray PPS)  with

HA

Global Orthopaedic Technology

GO008	RBK Total Knee System Patella component	Patella component, metal back, CoCr, mobile, titanium 	sizes 1 - 5	$1,352.00

plasma sprayed with HA, uncemented

Johnson & Johnson Medical Pty Ltd

DY502	LCS Complete Knee System patella component 	Metal backed, CoCr, rotating, uncemented 	Sizes small to large+	$1,352.00

Prostheses List by Category, Groups and Sponsor	Page 622 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ668	LCS Patellofemoral Joint Prosthesis (patellar component	Metal backed, CoCr, rotating, uncemented, patella	Sizes small to large+	$1,352.00

Medacta Australia Pty Ltd

MU052	Cinétique Knee System Patella Component   	Patella component, metal backed, CoCr uncemented, with 	Size #1-2; #3-4; #5-6	$1,352.00

titanium micro beads

CS

Endotec Australia Pty Ltd

EA011	Buechel-Pappas Ultracoat Total Knee Replacement 	Patellar component, metal backed, uncemented, beaded, 	1-6(inc)	$1,352.00

System Patellar Component 	Titanium, TiNi surface treatment for bone and mobile

patella poly

Group 9e - Uncemented, polyethylene metal backed, moulded

Smith & Nephew Surgical Pty Ltd

SM142	TC (Tri Compartment) PLUS Knee System and VKS 	Patella Component, metal backed, uncemented,Titanium 	8-26mm - 12/35mm	$800.00

Patella Component	Plasma Spray (Vacuum spray and triple layer), moulded

Stryker Australia Pty Ltd

HW108	Scorpio Knee System Patella Component	Patella component, Metal backed, CoCr, uncemented, 	Small, Medium, Large, Xlarge	$800.00

beaded, PA (Hydroxyapatite), Moulded UHMWPE

(N2VAC), Fixed

ST609	Scorpio Knee System Patella Component	Patella component, Metal backed, CoCr, uncemented, 	26-32mm in 2mm increments 10mm thick	$800.00

beaded, moulded polyethylene (N2VAC)

Zimmer Pty Ltd

ZI147	NexGen  Patella Component 	Metal backed, trabecular metal (Tantalum), patella 	26 - 41	$800.00	$1,190.00

component, with moulded UHMWPE, uncemented

ZI266	NexGen Trabecular Metal Augmented Patella	Augmented trabecular metal  combined with NexGen all 	Small, medium, large and x-large	$800.00	$3,420.00

poly patella component (2 piece)

ZI431	Natural Knee Patella CSTi	Patella metal backed, with cancellous structure Titanium 	Size 0 to 3	$800.00

ingrowth

ZI454	Natural Knee Patella CSTi	Patella metal backed, with cancellous structure Titanium 	0-3	$800.00	$1,185.00

ingrowth with highly crosslinked poly (durasul)

Prostheses List by Category, Groups and Sponsor	Page 623 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 9f - Polyethylene insert for mobile patella

Johnson & Johnson Medical Pty Ltd

JJ697	LCS Total Knee System - Replacement Patella 	Replacement UHMWPE insert for LCS mobile bearing 	Small+ to Large+	$600.00

Polyethylene	patella

Knee - Patello Femoral Replacement Femoral Component

Group 7a - Alloy

Biomet Australia Pty Ltd

BI945	Vanguard PFR	Femoral Component, Ti	XS to Xlarge	$2,750.00	$3,140.00

Global Orthopaedic Technology

GO035	RBK Total Knee System Patello Femoral (trochlear 	Trochlear Component, cemented, CoCr 	Size 1 to 5	$2,750.00	$3,640.00

component)

Johnson & Johnson Medical Pty Ltd

DY111	LCS Patellofemoral Joint Prosthesis (femoral component) 	Femoral trochlear component, cemented, CoCr	Sizes small to large+	$2,750.00

JJ776	Sigma HP Trochlear Component	Femoral trochlear component, cemented, CoCr	Sizes 1-5, left and right	$2,750.00

Link Orthopaedics  Australia

LO058	LINK Lubinus Total Patella Glide Replacement (femoral 	Femoral trochlear Component, cemented, CoCr	Small, medium, large, extra large	$2,750.00

trochlear component)

Smith & Nephew Surgical Pty Ltd

SN371	MOD III Patella Femoral Knee System Trochlear 	Trochlear Component, CoCr, cemented, 	Small & Large	$2,750.00

Component

Stryker Australia Pty Ltd

ST600	Avon Patello Femoral System Femoral Component	Trochlear component, CoCr (Vitallium), cemented	Extra Small, Small, Medium, Large	$2,750.00	$2,969.00

Zimmer Pty Ltd

ZI563	Zimmer Gender Solutions Patellofemoral Joint System	Patellofemoral joint fem implant PMMA precoat	Sizes 1 - 5 - Left & Right	$2,750.00	$3,990.00

Prostheses List by Category, Groups and Sponsor	Page 624 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 7b - Non-alloy

CS

Smith & Nephew Surgical Pty Ltd

SN834	Journey Knee System Patella Femoral Replacement 	 Trochlear Component,cemented, Oxinium	Sm, Med Lg, XLg	$3,000.00

Trochlear Component

Group 7p - Partial resurfacing

Lifehealthcare Pty Ltd

LH409	HemiCAP Patello-Femoral Resurfacing System - 	A distal femoral trochlear surface articular component 	20mm: 2.0mm x 2.0mm, increasing in 0.5mm 	$2,050.00	$2,269.00

Femoral Trochlear Component Articular	comprised of cobalt-chromium alloy which mates to a 	increments to 3.5mm x 3.0mm

fixation stud

Knee - Tibial Insert: Total Knee Arthroplasty

Group 5a - Minimally Stabilised, fixed

Advanced Surgical Design & Manufacture Ltd

AE047	Active Knee Tibial Insert	Tibial Insert, UHMWPE, ultra congruent 	Sizes 1 - 5 Thickness 6 - 17.5mm	$1,140.00

AE049	Active Knee Tibial Insert	Tibial Insert, minimally stabilised, UHWMPE	Sizes 1 - 5 Thickness 6 - 15.5mm	$1,140.00

AE079	Active Knee Ultra Plus Tibial Insert	 Tibial Insert, UHMWPE, anterior lipped 	1 - 5, 6 - 17.5mm Thickness	$1,140.00	$1,700.00

AE114	3D Knee System - Tibial Insert	3D knee system tibial inserts are left and right specific, with 	Left Sizes 2,4,6,8,10,12 in 9mm, 11mm, 	$1,140.00

a constrained lateral condyle to permit "lateral pivot shift" 	13mm, 15mm, 19mm thicknesses; and Right

through a range of motion	Sizes 2,4,6,8,10,12 in 9mm, 11mm, 13mm,

15mm, 19mm thicknesses

Advanced Surgical Technologies

AD139	Advance Total Knee System	High anterior lipped, Medial pivot UHMWPE fixed tibial 	0, 1, 2, 3, 4, 5, 6 in 10 - 25mm thicknesses	$1,140.00	$1,550.00

insert

AD171	Advantim Total Knee System	Tibial Inserts Total Condylar UHMWPE, includes 	10-36mm in 2mm increments	$1,140.00

unconstrained insert and minimally stabilised (LSI)

AD280	Advance Double High Tibial Insert	Minimally stabilised, fixed, tibial insert, with high flexion, 	All inserts are available in Left and Right: Sizes	$1,140.00	$1,450.00

UHMWPE 	 1.5, 0, 1, 2, 3, 4, 5, & 6, in the following

increments of 10, 12, 14, 17, 20 & 25mm

Prostheses List by Category, Groups and Sponsor	Page 625 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

B Braun Australia Pty Ltd

BB207	Columbus Total Knee System (TKS) Tibial Insert  	Tibial Insert, UHMWPE, fixed 	T1 - T5	$1,140.00

Biomet Australia Pty Ltd

BI149	AGC Total Knee System Tibial Insert 	Tibial Insert 'Tradition' fixed, UHMWPE with locking pin 	59-91mm	$1,140.00	$1,228.00

BI172	Maxim Complete Knee System Tibial Insert  	Tibial Insert,  UHMWPE, fixed with locking pin 	59-91mm	$1,140.00	$1,220.00

BI798	Ascent Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, curved (dished) or lipped, fixed 	59, 63/67, 71/75, 79/83, 87/91mm widths, 	$1,140.00	$1,144.00

with locking pin 	10-20mm thicknesses

BI888	Vanguard Total Knee System	Tibial Bearing, CR, curved or lipped, UHMWPE	59, 63/67, 71/75, 79/83, 87/91 widths, 10, 	$1,140.00

12, 14, 16, 18, 20mm thicknesses

BI976	Vanguard E-Poly CR Tibial bearing	Vitamin E infused Highly Cross linked Polyethylene 	59 to 91 x (10 -18mm)	$1,140.00

/cruciate Retaining Tibial bearing.

Corin Australia Pty Ltd

CR008	Rotaglide + Total Knee System, Tibial Insert 	Tibial Insert, fixed, UHMWPE	9.5mm - 17mm	$1,140.00

ESKA Australia

EK022	ST Tibial Insert 	Tibial Insert, UHMWPE, Fixed	Various sizes and heights	$1,140.00

Exactech Australia

EX039	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Cruciate retained)	Size 1-6	$1,140.00	$1,300.00

Finsbury Orthopaedics Australia Pty Ltd

FI027	MRK (Medial Rotation Knee) Total Knee System Tibial 	Tibial Insert, UHMWPE, Fixed	1/2/3, 8-18mm thickness	$1,140.00

Insert

Global Orthopaedic Technology

GO127	3D Knee System Tibial Insert 	Tibial insert, UHMWPE, fixed with lateral pivot with 	Size 1 to 12, 9mm to 19mm	$1,140.00

locking screw

GO159	RBK Universal Tibial Insert 	Tibial Insert, UHMWPE, fixed, requiring fixation with 	Size 1- 5, 10mm - 20mm	$1,140.00

separate bolt

Prostheses List by Category, Groups and Sponsor	Page 626 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO191	APEX Knee Reconstruction System, Tibial Insert, 	Tibial Insert, Standard, Ultra & Congruent, Size 1-7, 	Size 1, 10mm to 20mm, size 2, 10mm to 	$1,140.00

Standard, Ultra & Congruent	10mm to 20mm.	20mm, size 3, 10mm to 20mm, size 4, 10mm

to 20mm, size 5, 10mm to 20mm, size 6,

10mm to 20mm, size 7, 10mm to 20mm.

Johnson & Johnson Medical Pty Ltd

DP162	PFC Sigma Knee System  tibial insert 	Tibial insert for AMK Duofix tibial baseplate with locking 	Sizes  1 - 6.  8-30mm	$1,140.00

post and clip, UHMWPE

DY481	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, standard and posterior lipped	Sizes  1 - 6.  8-30mm	$1,140.00

JJ509	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, moderately cross linked	Sizes  1 - 6.  8-30mm	$1,140.00

Mathys Orthopaedics Pty Ltd

MA110	Balansys Tibial Insert  	Tibial insert, minimally stabilised, UHMWPE	Insert 64/8 - 85/15.5	$1,140.00

MA459	Balansys Tibial Insert  	Tibial insert, ultra congruent, deep dished, UHMWPE	64/8mm -85/20.5mm	$1,140.00

Medacta Australia Pty Ltd

MU034	Evolis Knee System Tibial Insert   	Tibial Insert, UHMWPE, fixed  	1 - 6, 9/11/13/16/19mm thickness	$1,140.00

MU071	GMK Standard Fixed Tibial Insert	Posterior cruciate retaining fixed polyethylene insert	size 1 to 6, 10/12/14/17/20mm thickness	$1,140.00

MU074	GMK ultracongruent Fixed tibial Insert	Ultracongruent fixed polyethylene insert	1 to 6, 10/12/14/17/20mm thickness	$1,140.00

Orthotech Pty Ltd

OH331	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Cruciate retained)	Size 1-6	$1,140.00	$1,300.00

Smith & Nephew Surgical Pty Ltd

SM076	VKS (Vario) Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed	1-12	$1,140.00

SM090	RT (Rotating Hinge) PLUS Knee System Tibial Insert	Tibial Insert, UHMWPE,  fixed, for hinged femoral and 	0-10	$1,140.00

tibial components, reinforced fixation clip and centeral hole

for femoral component hinge post

SN310	Genesis II Knee System Tibial Insert	Tibial Insert, Fixed, UHMWPE, (deep dished)	1-8. 9 - 21mm	$1,140.00

SN348	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed 	Left & Right XS-Magnum 8MM-15MM	$1,140.00

SN867	Genesis II Knee System Tibial Insert	Tibial insert, UHWPE, fixed	1-9	$1,140.00

SN868	Profix Knee System Tibial Insert	Tibial insert, UHWPE, fixed	1-9	$1,140.00

Prostheses List by Category, Groups and Sponsor	Page 627 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN881	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, includes standard and deep	Left / Right 1 - 8	$1,140.00

dished / high flex insert without peg

SN882	Genesis II Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, includes standard and deep	Left / Right 1 - 8	$1,140.00

dished / high flex insert without peg

Stryker Australia Pty Ltd

HW091	Duracon Knee System Tibial Insert 	Minimally stabilised, AP Lipped tibial insert, UHMWPE, 	Small, Medium, Large, Extra-Large in each 	$1,140.00

(Duration)	thickness 9mm, 11mm, 13mm, 16mm, 19mm,

22mm, 25mm

HW102	Duracon Knee System Tibial Insert 	Minimally stabilised, tibial insert to match PCA femur with 	Small, Medium, Large, Extra-Large in each 	$1,140.00

Duracon baseplate, UHMWPE (Duration)	thickness 9mm, 11mm, 13mm, 16mm, 19mm,

22mm, 25mm, 28mm, 31mm

HW160	Kinemax Knee System Tibial Insert	Minimally stabilised, tibial insert, Low Stress, UHMWPE 	8, 10, 12, 15, 18, 21, 25mm per size	$1,140.00

(Duration)

HW162	Interax Knee System Patella	Patella, resurfacing, all UHMWPE (Duration)	8, 10, 12, 15, 18, 21mm per size	$1,140.00

HW174	Kinemax Knee System Tibial Insert	Minimally stabilised tibial insert, UHMWPE, (Duration)	8, 10, 12, 15, 18, 21, 25mm per size	$1,140.00

HW232	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Tibial insert, UHMWPE (Duration),	6, 10, 14mm	$1,140.00	$2,070.00

Rotating Hinge Tibial Insert	 Fixed

HW248	MRH (Modular Rotating Hinge) & GMRS (Global 	MRH & GMRS Tibial insert, (Duration) UHMWPE, for 	xsmall - xlarge	$1,140.00	$2,127.00

Modular Replacement System) Tibial Inserts	MRH and GMRS Tibial baseplate, CoCr (Vitallium), Fixed

with central hole for Hinge

SK091	Duracon Knee System CS Lipped Tibial Insert	Minimally stabilised, CS Lipped tibial insert, deep dish, 	XS,S,M,L,XL Thickness 	$1,140.00	$1,200.00

UHMWPE, (Duration)	9,11,13,16,19,22,25mm

SK328	Triathlon Knee System Tibial Insert	Minimally stabilised, tibial insert, UHMWPE, (N2VAC)	Sizes 1 to 8 (9/11/13/16/19/22/25mm 	$1,140.00	$1,430.00

thickness)

SK333	Scorpio NRG Knee System Tibial Insert 	Minimally stabilised tibial insert, UHMPWE (N2VAC)	Sizes 3,4,5,6,7,9,11,13, x 	$1,140.00	$1,430.00

(8/10/12/15/18/21/24mm thickness)

SK431	Triathlon Knee System CS Lipped Insert	Minimally stabilised, CS Lipped tibial insert deep dish, 	Sizes 1-8 _small - large) size increments, 	$1,140.00	$1,430.00

UHMWPE (N2VAC) 	9mm, 11mm, 13mm, 16mm, 19mm, 22mm,

25mm

Prostheses List by Category, Groups and Sponsor	Page 628 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK432	Triathlon Knee System CS Lipped Tibial Insert	Minimally stabilised, CS Lipped tibial insert deep dish, 	Sizes 1-8 _small - large) size increments, 	$1,140.00	$1,430.00

UHMWPE, (X3)	9mm, 11mm, 13mm, 16mm, 19mm, 22mm,

25mm

SR076	Triathlon X3 CR Tibial Insert	Intended use as part of a total knee system in primary 	Sizes 1-8 available in 9,11,13,16,19mm 	$1,140.00	$1,650.00

cemented and primary uncemented total knee arthroplasty.	thicknesses

SR077	Scorpio NRG X3 CR Tibial Insert	Intended use as part of a total knee system in primary 	Sizes 3,5,7,9,11 in thicknesses: 	$1,140.00	$1,650.00

cemented and primary uncemented total knee arthroplasty.	8,10,12,15,18,21,24mm

SR079	Triathlon X3 CS Lipped Tibial Insert	Intended use as part of a total knee system in primary 	Sizes 1-8 available in 9,11,13,16,19,22 and 	$1,140.00	$1,650.00

cemented and primary uncemented total knee arthroplasty.	25mm thicknesses

ST608	Scorpio Knee System Tibial Insert	Minimally stabilised tibial insert, UHMWPE (N2VAC)	8-18mm in 2mm increments	$1,140.00	$1,200.00

ST643	S7000 Knee System Tibial Insert 	Minimally stabilised tibial insert, UHMWPE (N2VAC), 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 	$1,140.00	$1,200.00

used for Series 7000 Minimally stabilised tibial insert 	21,24mm

revisions

Zimmer Pty Ltd

ZI077	Miller Galante I Tibial Insert 	Tibial Insert, UHMWPE, fixed 	8 - 22mm	$1,140.00	$1,250.00

ZI088	Miller Galante II Tibial Insert 	Tibial Insert, UHMWPE, fixed 	9 - 23mm	$1,140.00	$1,250.00

ZI134	NexGen Tibial Insert 	Tibial Insert, fixed, standard and anterior lipped, UHMWPE	9 - 23 mm	$1,140.00	$1,250.00

ZI135	NexGen Tibial Insert 	Ant. Constr. - UHMWPE	9 - 23mm	$1,140.00	$1,250.00

ZI139	NexGen Tibial Insert 	Tibial Insert, UHMWPE, 'anatomically rotated'	9 - 23mm	$1,140.00	$1,250.00

ZI410	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, fixed 	00 to 5, 9 to 22mm	$1,140.00	$1,250.00

ZI411	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, fixed, ultracongruent dished  	00 to 5, 9 to 22mm	$1,140.00	$1,250.00

ZI450	Natural Knee Tibial Insert	Tibial Insert, UHMWPE, Highly crossed linked (Durasul 	00 to 5, 9 to 22mm	$1,140.00	$1,430.00

PE), congruent and ultra congruent

ZI584	NexGen Prolong Flex Articulating Surface	Highly Crosslinked - Ultra High Molecular Weight 	Sizes 1 to 10, 9mm to 23mm	$1,140.00	$1,430.00

Polyethylene - Fixed Bearing - CR

Prostheses List by Category, Groups and Sponsor	Page 629 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Ri

Johnson & Johnson Medical Pty Ltd

JJ667	AMK Tibial Insert	Tibial insert UHMWPE, minimally stabilised	Size 1-5	$1,140.00

Group 5b - Minimally Stabilised, mobile

Advanced Surgical Design & Manufacture Ltd

AE046	Active knee Tibial Insert  	Mobile insert, dished, UHMWPE 	Sizes 1 - 5 Thickness 6 - 9.5mm	$1,140.00

B Braun Australia Pty Ltd

BB198	Emotion Total Knee System (TKS) Tibial Insert 	Tibial Insert, UHMWPE, mobile	T1 to T8 Size: 10 to 24mm	$1,140.00

BB255	Columbus Total Knee System (TKS) Tibial Insert  	Tibial Insert, UHMWPE, Mobile	T1- T5	$1,140.00

Biomet Australia Pty Ltd

BI197	Rotating Platform Knee System	Tibial Bearing, UHMWPE	60-75mm	$1,140.00	$1,390.00

Corin Australia Pty Ltd

CR007	Rotaglide + Total Knee System, Tibial Insert 	Tibial Insert, Mobile bearing, UHMWPE	7mm - 17mm	$1,140.00

CR108	Score Knee System Tibial Insert  	Tibial Insert, mobile bearing, UHMWPE	7 sizes, 5 thicknesses	$1,140.00

Endotec Australia Pty Ltd

EA010	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Insert, UHMWPE, mobile bearing 	1-6(inc)	$1,140.00

System Tibial Insert

ESKA Australia

EK044	RP (Rotating Platform)Tibial Insert B	Tibial insert, UHMWPE, mobile, deep dish	8-10-12-14mm	$1,140.00

Finsbury Orthopaedics Australia Pty Ltd

FI006	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial Insert, UHMWPE, mobile bearing	S/M/L Form, 9-17mm thickness	$1,140.00

Insert

Global Orthopaedic Technology

GO002	RBK Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing	1-5, 10-20mm	$1,140.00

GO160	RBK Universal Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing, requiring fixation 	1-5, 10mm - 20mm	$1,140.00

with separate bolt

Johnson & Johnson Medical Pty Ltd

DP026	LCS Complete Knee System rotating platform tibial 	Tibial insert, for rotating platform, UHMWPE 	Sizes small to large+	$1,140.00

Insert

Prostheses List by Category, Groups and Sponsor	Page 630 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP166	PFC Sigma Knee System  tibial insert 	Tibial Insert, rotating platform UHMWPE	Sizes  1 - 6.  8-30mm	$1,140.00

DP238	LCS Classic and Universal Knee System meniscal 	Tibial inserts, meniscal bearing medial and lateral (by 2 per 	Sizes small to large+. 10-20mm	$1,140.00

bearing tibial Insert 	procedure)

DY465	LCS Classic and Universal Knee System rotating 	Tibial insert, UHMWPE, rotating platform, standard and 	Sizes small to large+. 10-30mm	$1,140.00

platform tibial insert 	deep dish, used for revising LCS classic and universal TKA

JJ658	LCS Complete Knee System APG Tibial Insert	Tibial Insert, Mobile, UHMWPE, used with APG guide 	Sizes small to large+	$1,140.00

arm only

Link Orthopaedics  Australia

LO131	Link Gemini Tibial Insert 	Tibial Insert, UHMWPE, mobile insert 	Extra Small - Extra Large	$1,140.00

Mathys Orthopaedics Pty Ltd

MA311	Balansys Tibial Mobile Insert	Tibial Insert, mobile bearing, UHMWPE, 	64/8mm -85/20.5mm	$1,140.00	$1,200.00

Medacta Australia Pty Ltd

MU049	Cinétique Knee System Tibial Insert  	Tibial Insert, UHMWPE, mobile bearing, standard, 	Size 1 to 6, 7/9/11/13/15mm thicknesses	$1,140.00

MU068	GMK Standard mobile tibial insert	posterior cruciate retaining mobile polyethylene insert	size 1 to 6, 10/12/14/17/20mm thickness	$1,140.00

Smith & Nephew Surgical Pty Ltd

SM031	TC (Tri Compartment) PLUS Knee System Tibial Insert	Tibial Insert, UHMWPE, mobile, deep dished	1-12 : 9-19mm	$1,140.00

SM063	Tibial Insert	Mobile Bearing Tibial Insert	1-12	$1,140.00

SM069	VKS (Vario) Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, deep dished	1-6	$1,140.00

SN320	Genesis II Knee System Tibial Insert	Tibial Insert for mobile insert, UHMWPE	Left & Right, Size 1-8, 9-15mm 	$1,140.00

SN378	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile, anterior lip (Conforming 	Size 1-8 10-16mm	$1,140.00

Plus)

SN379	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile	Size 1-8 10-16mm	$1,140.00

SN699	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile, anterior lip (Conforming 	1-8, 18-20mm	$1,140.00

Plus) Larger sized inserts

Stryker Australia Pty Ltd

SR031	Triathlon Knee System Tibial Insert 	Minimally stabilised, mobile bearing tibial insert, UHMWPE	1 to 8, 9mm to 19mm	$1,140.00	$1,350.00

(N2VAC)

SR033	Triathlon Knee System Tibial Insert 	Minimally constrained, CS Lipped Tibial insert, deep 	1 to 8, 9mm to 22mm	$1,140.00	$1,350.00

dished (CS) UHMWPE, N2VAC, mobile bearing

Prostheses List by Category, Groups and Sponsor	Page 631 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST032	Scorpio Knee System Tibial Insert	Minimally stabilised, mobile bearing tibial insert, UHMWPE	8-24mm for all tibia sizes	$1,140.00	$1,300.00

(N2VAC)

ST912	Duracon ISA Knee System Tibial Insert	Minimally stabilised, mobile bearing tibial insert, UHMWPE	Small, medium, large, X-large - left, right	$1,140.00	$1,300.00

(Duration)

Zimmer Pty Ltd

ZI138	NexGen MBK Tibial Insert 	Tibial Insert,  UHMWPE, mobile	9 - 23mm	$1,140.00	$1,165.00

ZI408	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE,  mobile insert  	00 to 5, 9 to 22mm	$1,140.00	$1,165.00

ZI434	SAL Knee Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing 	Mobile Bearing - 0/1 to E/16	$1,140.00	$1,165.00

ZI515	NexGen Prolong Tibial Insert 	Tibial Insert, Highly Crosslinked - UHMWPE (prolong), 	Sizes A - G 9mm to 20mm	$1,140.00	$1,430.00

mobile bearing

ZI585	NexGen Prolong Flex Articulating Surface	Highly Crosslinked - Ultra High Molecular Weight 	Sizes 1 to 10, 9mm to 23mm	$1,140.00	$1,430.00

Polyethylene - Mobile Bearing - CR

Group 5c - Posterior Stabilised, fixed

Advanced Surgical Technologies

AD136	Advance Total Knee System	Posterior stabilised, fixed tibial insert, UHMWPE	1, 2, 3, 4, 5, 6	$1,200.00	$1,404.00

AD188	Advantim / Ortholoc Revision Knee	Tibial inserts posterior stabilised UHMWPE (LSI and 	Small, Medium, Large, X-Large - 10 to 	$1,200.00

"unconstrained" insert ranges)	35mm in 2mm increments

B Braun Australia Pty Ltd

BB209	Columbus Total Knee System (TKS) Tibial Insert  	Tibial Insert, UHMWPE, fixed, posterior stabilised with 	T1 - T5	$1,200.00

included screw for fixation to baseplate

Biomet Australia Pty Ltd

BI179	Maxim Complete Knee System Tibial Insert  	Tibial Insert,  UHMWPE, fixed with locking pin, posterior 	59-91mm	$1,200.00	$1,506.00

stabilised with peg

BI905	AGC Total Knee System Tibial Insert 	Tibial Insert 'Tradition', Posterior Stabilised with peg, 	59-91mm	$1,200.00	$1,460.00

UHMWPE with locking pin

BI975	Vanguard E-Poly PS bearing	Vitamin E infusion Highly Cross linked Polythylene 	59 - 91 x (10 - 18mm)	$1,200.00	$1,650.00

Posterior Stabilised Tibial Bearing

Exactech Australia

EX041	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Posterior Stabilised)	Size 1-6	$1,200.00	$1,300.00

Prostheses List by Category, Groups and Sponsor	Page 632 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EX042	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Hi Flex)	Size 1-6	$1,200.00	$1,300.00

Finsbury Orthopaedics Australia Pty Ltd

FI056	Saiph Knee System APS Tibial Insert	Compression Moulded Anterior Posterior Stablilised Tibial 	A - F, Left & Right 10 - 20mm	$1,200.00

Bearing

Johnson & Johnson Medical Pty Ltd

JJ508	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, moderately cross linked, with peg 	Sizes  1 - 6.  8-30mm	$1,200.00

Mathys Orthopaedics Pty Ltd

MA489	Balansys Tibial Insert  	Tibial insert, posterior stabilised UHMWPE	Height: 8/10.5/13/15.5/18/20.5/23 - ML/AP 	$1,200.00	$1,400.00

Dimensions: 64/70/75/80/85 - fixed bearing

Medacta Australia Pty Ltd

MU032	Evolis Knee System Tibial Insert   	Tibial Insert, UHMWPE, fixed, posterior stabilised 	1 - 6, 9/11/13/16/19mm thickness	$1,200.00

MU059	GMK Posterior Stabilised fixed tibial insert	Posterior Stabilised fixed polyethylene insert	size 1 to 6, 10/12/14/17/20mm thickness	$1,200.00

Orthotech Pty Ltd

OH332	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Posterior Stabilised)	Size 1-6	$1,200.00	$1,300.00

OH333	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Hi Flex)	Size 1-6	$1,200.00	$1,300.00

Smith & Nephew Surgical Pty Ltd

SM072	TC (Tri Compartment) PLUS Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, posterior stabilised with peg	2-12	$1,200.00

SN349	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, posterior stabilised with peg	Right/Left S-XL 8mm-25mm	$1,200.00

SN727	Genesis II Knee System Tibial Insert	Tibial Insert, Posterior Stabilised, UHMWPE, fixed, high 	1-8, 9-25mm thickness	$1,200.00

flex with peg

SN780	Journey Knee System Tibial Insert	Tibial Insert, UHMWPE, Fixed posterior stabilised with peg	8-30mm, 1-10	$1,200.00

SN875	Genesis II Knee System Tibial Insert	Tibial Insert, UHMWPE, posterior stabilised with peg, fixed	1-8	$1,200.00

SN876	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, posterior stabilised with peg, fixed	1-8	$1,200.00

Prostheses List by Category, Groups and Sponsor	Page 633 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

HW092	Duracon Knee System Tibial Insert 	Posterior stabilised tibial insert, with reinforcing pin, 	Small, Medium, Large, Extra-Large in each 	$1,200.00

UHMWPE, (Duration) 	thickness 9mm, 11mm, 13mm, 16mm, 19mm,

22mm, 25mm

SR002	Triathlon Knee System Tibial Insert 	Posterior stabilised insert, UHMWPE,(N2VAC) 	Sizes 1 to 8 (9/11/13/16/19/22/25mm 	$1,200.00	$1,430.00

thickness)

SR008	Scorpio Knee System Tibial Insert	Posterior stabilised tibial insert, UHMWPE (N2VAC)	8-18mm in 2mm increments	$1,200.00

SR012	Scorpio NRG Knee System Tibial Insert 	Posterior stabilised tibial insert, UHMWPE, (N2VAC)	Sizes 3,4,5,6,7,9,11,13, x 	$1,200.00	$1,430.00

(8/10/12/15/18/21/24mm thickness)

SR020	S7000 Tibial Insert 	Posterior stabilised tibial insert, UHMWPE, (N2VAC), 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 	$1,200.00

used for series 7000 revisions 	21,24mm

SR074	Triathlon X3 PS Tibial Insert	Intended use as part of a total knee system in primary 	Sizes 1-8 available in 9,11,13,16,19,22 and 	$1,200.00	$1,650.00

cemented and primary uncemented total knee arthroplasty. 	25mm thicknesses

Intended to be used in situation where the posterior cruciate

ligament is absent, or cannot be preserved.

SR078	Scorpio NRG X3 PS tibial Insert	intended to be used in situations where the posterior 	3,5,7,9,11 in thickness: 	$1,200.00	$1,650.00

cruciate ligament is absent, or cannot be preserved.	8,10,12,15,18,21,24mm

ST644	S7000 Tibial Insert series I	Posterior stabilised tibial insert, Series II, UHMWPE 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 	$1,200.00

(N2VAC)	21,24mm

ST646	S7000 Tibial Insert, series II	Tibial Insert posterior stabilised - PSII UHMWPE	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 	$1,200.00

21,24mm

ST925	Scorpio Knee System SuperFlex Tibial Insert 	Posterior stabilised tibial insert, SuperFlex, UHMWPE 	3, 5, 7, 9 , 11, 13 in thickness 8, 10, 12, 15, 	$1,200.00	$1,404.00

(N2VAC)	18, 21, 24mm

Tornier Pty Ltd

TO036	HLS Noetos Tibial insert, fixed	Tibial Insert, fixed, UHMWPE, posterior stabilised	1 to 6, 9, 11 & 13mm	$1,200.00

Zimmer Pty Ltd

ZI057	NexGen Flex Tibial Insert 	Tibial Insert, fixed, posterior stabilised, high flex, UHMWPE	Sizes 9 - 23mm	$1,200.00	$1,250.00

ZI064	Insall-Burstein II CCK Tibial Insert	Tibial Insert which is fixed and posterior stabilised, 	10 - 35mm	$1,200.00	$1,250.00

UHMWPE,

ZI066	Insall-Burstein II  Tibial Insert 	Tibial Insert which is fixed and posterior stabilised, 	8 - 25mm	$1,200.00	$1,250.00

UHMWPE,

Prostheses List by Category, Groups and Sponsor	Page 634 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI136	NexGen Tibial Insert 	Tibial Insert, fixed, posterior stabilised, UHMWPE	9 - 23mm	$1,200.00	$1,250.00

ZI409	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, posterior stabilised, fixed 	00 to 5, 9 to 22mm	$1,200.00	$1,250.00

ZI521	NexGen LPS Prolong Tibial Insert 	Tibial Insert, Highly Crosslinked - UHMWPE (prolong), 	Sizes A - G, 9mm to 20mm	$1,200.00	$1,430.00

fixed posterior stabilised

ZI586	NexGen Prolong Flex Articulating Surface	Highly Crosslinked - Ultra high Molecular Weight 	Sizes 1 to 10, 9mm to 23mm	$1,200.00	$1,430.00

Polyethylene - Fixed Bearing - LPS

Ri

Johnson & Johnson Medical Pty Ltd

JJ665	PFC Sigma Knee System Tibial Insert	Tibial insert, posterior stabilised, UHMWPE, with post	Sizes 1-6.  8-30mm	$1,200.00

JJ666	AMK Tibial Insert	Tibial insert UHMWPE, minimally stabilised (with separate 	Size 1-5	$1,200.00

locking post)

Zimmer Pty Ltd

ZI137	NexGen LCCK Tibial Insert 	Tibial Insert, posterior stabilised, UHMWPE, fixed, with 	10 - 35mm	$1,200.00	$1,250.00

post

Group 5d - Posterior Stabilised, mobile

B Braun Australia Pty Ltd

BB199	Emotion Total Knee System (TKS) Tibial Insert 	Tibial Insert, UHMWPE, mobile, posterior stabilised with 	T1 to T8 Sizes: 10 to 24mm	$1,200.00

peg

Biomet Australia Pty Ltd

BI885	ROCC Tibial Insert	Tibial Insert, mobile bearing, rotating platform, UHMWPE	1-6 (tray size), 10-20mm (bearing size)	$1,200.00	$1,360.00

BI907	TRAC Knee System	Bearing Posterior Stabilised UHMWPE	59 - 91mm	$1,200.00	$1,600.00

Exactech Australia

EX043	Optetrak RBK (Rotating Bearing Knee) Total Knee 	Tibial Insert, UHMWPE, mobile, posterior stabilised 	1-6	$1,200.00	$1,500.00

System Tibial Insert

Finsbury Orthopaedics Australia Pty Ltd

FI024	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial Insert, UHMWPE, mobile bearing, posterior 	S/M/L Form, 9-17mm thickness	$1,200.00

Insert 	stabilised, using peg

Prostheses List by Category, Groups and Sponsor	Page 635 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Orthopaedic Technology

GO117	RBK Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing, posterior 	Size 0 to 5, 10mm to 20mm thick	$1,120.00

stabilised with peg, separate bolt fixation that passes down

the peg

Johnson & Johnson Medical Pty Ltd

DP270	SROM Noiles Knee System tibial insert	Tibial insert, UHMWPE, posterior stabilised, rotating 	Xsm-lrg. 10-30mm	$1,200.00

platform

DY457	PFC Sigma Knee System  tibial insert 	Tibial insert, posterior stabilised, rotating platform 	Sizes  1 - 6.  8-30mm	$1,200.00

UHMWPE

Medacta Australia Pty Ltd

MU073	GMK Ultracongruent Mobile Tibial Insert	Ultracongruent Mobile Polyethylene  Insert	size 1 to 6, 10/12/14/17/20mm thickness	$1,200.00

Orthotech Pty Ltd

OH235	Optetrak RBK (Rotating Bearing Knee) Total Knee 	Tibial Insert, UHMWPE, mobile, posterior stabilised 	1-6	$1,200.00	$1,500.00

System Tibial Insert

Smith & Nephew Surgical Pty Ltd

SN852	Gen II Mobile Bearing PS Insert	Primary Mobile Bearing Posterior Stabilised Tibia Insert	2-12	$1,200.00

Stryker Australia Pty Ltd

SR013	Scorpio Knee System Tibial Insert	Posterior stabilised mobile bearing insert,  UHMWPE 	10,12,15,18, 21mm thickness; sizews 	$1,200.00	$1,300.00

(N2VAC)	3,5,7,9,11,13

SR032	Triathlon Knee System Tibial Insert	Posterior stabilised mobile bearing insert, UHMWPE 	1 to 8, 9mm to 22mm	$1,200.00	$1,350.00

(N2VAC)

Tornier Pty Ltd

TO035	HLS Noetos Tibial insert, mobile	Tibial Insert, Mobile, UHMWPE, Posterior Stabilised	1 to 6, 9, 11 & 13mm	$1,200.00

Zimmer Pty Ltd

ZI058	NexGen LPS Tibial Insert 	Tibial Insert, posterior stabilised, UHMWPE, mobile 	Sizes 9 - 23mm	$1,200.00	$1,250.00

ZI587	NexGen Prolong Flex Articulating Surface	Highly Crosslinked - Ultra high Molecular Weight 	Sizes 1 to 10, 9mm to 23mm	$1,200.00	$1,430.00

Polyethylene - Mobile Bearing - LPS

Ri

Corin Australia Pty Ltd

CR110	Score Knee System Tibial Insert  	Tibial Insert, mobile bearing, posterior stabilised with 	20 sizes	$1,200.00

reinforcement post

Prostheses List by Category, Groups and Sponsor	Page 636 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY372	LCS Complete Knee System rotating platform tibial 	Tibial insert, rotating platform with post, UHMWPE 	Sizes small to large+. 10-30mm	$1,200.00

insert

DY405	PFC Sigma Knee System RPF tibial insert	Tibial insert, UHMWPE, rotating platform for high flex with	Size 1 - 6.  10-30mm	$1,200.00

post

Group 5e - Totally Constrained, fixed

Biomet Australia Pty Ltd

BI181	Maxim Complete Knee System Tibial Insert  	Tibial Insert,  UHMWPE, fixed with locking pin, Totally 	59-91mm	$1,250.00	$1,674.00

constrained with peg

BI802	Ascent Total Knee System Tibial Insert 	Tibial Insert, totally constrained, fixed with locking pin, 	59, 63/67, 71/75, 79/83, 87/91mm widths, 	$1,250.00	$1,670.00

UHMWPE	10-20mm thicknesses

BI904	Vanguard Total Knee System	Tibial Bearing, PS, PS+.  UHMWPE	59, 63/67, 71/75, 79/83, 87/91, widths, 10. 	$1,250.00	$1,670.00

12, 14, 16, 18, 20, 22, 24mm thicknesses

BI939	Vanguard SSK Knee System	Tibial Bearing Insert, PSC, UHMWPE	59-75mm x (10-24mm)	$1,250.00	$1,560.00

Smith & Nephew Surgical Pty Ltd

SM161	Legion Hinge Guided Motion Tibial Insert	This tibial insert is used for the construction of the Legion 	Sizes 2-7 11,13,15,18,21mm	$1,250.00

hinge.

SN340	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, totally stabilised with peg	Left/Right Small- XLarge 10mm - 25mm	$1,250.00

SN353	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, totally stabilised with peg, 	Left/Right Constrained Small - Xlarge, 	$1,250.00

to be used with Genesis I baseplate and Tricon Femoral 	Crutiate retaining Size 1-8, Post Stabilising

Component	Size 1-8, Tricon/Genisis Small-Xlarge

SN863	Genesis II Knee System Tibial Insert	Tibial insert, UHMWPE, fixed, totally constrained	Left / Right 1 - 8	$1,250.00

SN864	Profix Knee System Tibial Insert	Tibial insert, UHMWPE, fixed, totally constrained	Left / Right 1 - 8	$1,250.00

Ri

Advanced Surgical Technologies

AD145	Advance Revision Knee System insert	totally constrained, UHMWPE, fixed tibial insert with 	1, 2, 3, 4, 5, 6 in 10 - 30mm in 2mm 	$1,250.00	$1,508.00

reinforcing peg	increments

Prostheses List by Category, Groups and Sponsor	Page 637 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Exactech Australia

EX028	Optetrak Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, fixed and totally stabilised with 	Size 1 - 6	$1,250.00	$1,750.00

peg and reinforced with screw/post fixation (Spine stiffening

screw)

Johnson & Johnson Medical Pty Ltd

DP570	AMK Ultra coordinate revision tibial insert 	Tibial Insert UHMWPE, totally constrained, with separate 	Sizes 1-5, 10-30mm	$1,250.00

locking post

JJ664	PFC Sigma Knee System TC3 Tibial Insert	Tibial insert, totally constrained, UHMWPE, with post	Sizes 1-6.  8-30mm	$1,250.00

Orthotech Pty Ltd

OH025	Optetrak Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, fixed and totally stabilised with 	Size 1 - 6	$1,250.00	$1,750.00

peg and reinforced with screw/post fixation (Spine stiffening

screw)

Stryker Australia Pty Ltd

HW161	Kinemax Knee System Tibial Insert	Totally constrained tibial insert, with metal post, UHMWPE	8, 10, 12, 15, 18, 21, 25mm per size	$1,250.00

(Duration)

SK410	Scorpio Knee System Tibial Insert 	Totally constrained tibial insert, with metal post, UHMWPE	3 - 11 mm 7F/5T, 5F/7T, 11F/9T, 9F/11T	$1,250.00	$1,560.00

(N2VAC)	10mm-24mm

SK438	Triathlon TS Knee System Tibial Insert 	Totally constrained, TS (Total Stabilizer) Insert, with metal 	Tibial Insert Sizes: Left & right 9-31mm sizes 	$1,250.00	$1,430.00

post, UHMWPE (X3)	1-8Reinforced Post Sizes 9-31mm

SK439	Triathlon Knee System Tibial Insert 	Totally constrained tibial insert, with metal post, +/- 2° 	Tibial Insert Sizes: Left & right 9-31mm sizes 	$1,250.00	$1,560.00

int/ext rotation, UHMWPE (X3)	1-8

Reinforced Post Sizes 9-31mm

ST024	Scorpio Knee System Tibial Insert	Totally constrained tibial insert, with metal post, UHMWPE	8-24mm for all tibia sizes	$1,250.00	$1,560.00

(X3)

ST601	Duracon TS Knee System Tibial Insert	Totally constrained tibial insert, with metal post, UHMWPE	Extra Small, Small, Medium, Medium Large, 	$1,250.00	$1,560.00

(Duration)	Large, Extra Large

Group 5f - Totally Constrained, mobile

Smith & Nephew Surgical Pty Ltd

SM159	Legion Hinge Rotating Platform Insert	This tibial insert is used for the construction of the Legion 	Sizes 2-7 11,13,15,18,21mm	$1,250.00

hinge.

Prostheses List by Category, Groups and Sponsor	Page 638 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI307	Nexgen Rotating Hinge Tibial Insert 	Tibial insert for NexGen Rotating Hinge prosthesis, 	12-26mm, sizes B-F	$1,250.00	$1,630.00

UHMWPE, mobile. Includes hinge locking post.

Ri

Biomet Australia Pty Ltd

BI954	AGC Dual Articular Knee System Tibial Insert 	Tibial Insert, UHMWPE, totally constrained, Rotating, 	59 - 83mm, 8 - 20mm Depth	$1,250.00

reinforcement post on baseplate

Johnson & Johnson Medical Pty Ltd

DP257	SROM Noiles Knee System tibial insert	Tibial insert, rotating platform, hinged, with metal axis ring 	XXSml - Large	$1,250.00

incorporated and polyethylene axis bearings

DY367	PFC Sigma TC3 Knee System  Tibial Insert 	Tibial Insert, totally constrained, mobile bearing, 	Size 1.5 to 5 thickness of 15.5 to 30mm	$1,250.00

UHMWPE, with post

JJ532	LCS Complete Knee System tibial insert 	Tibial insert, UHMWPE, rotating platform, totally 	Sizes small to large+. 10-30mm	$1,250.00

constrained, with reinforcing post

Knee - Tibial Insert: Uni-Compartmental Knee Arthroplasty

Group 6a - Fixed bearing

B Braun Australia Pty Ltd

BB203	Emotion Unicondylar Knee System Uni Tibial Insert  	Uni tibial insert, UHMWPE, fixed	F1 and F5, 7mm-11mm	$790.00

Biomet Australia Pty Ltd

BI205	Repicci II Unicondylar Knee System Uni tibial insert 	Uni Tibial insert, fixed , UHMWPE	Std, Large, Xlarge	$790.00

Johnson & Johnson Medical Pty Ltd

JJ660	Preservation Knee System Uni Tibial Insert	Uni Tibial Insert, Fixed Bearing, UHMWPE	Sizes 1-5. 7-15mm	$790.00

JJ779	Sigma HP Unicompartmental Knee - Fixed bearing insert	Unicompartmental tibial insert, fixed bearing UHMWPE	Size 1-6, 7-12mm LM/RL & RM/LL	$790.00

Mathys Orthopaedics Pty Ltd

MA454	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, fixed 	5,6,7,9	$790.00

Medacta Australia Pty Ltd

MU062	GMK Unicompartmental fixed tibia insert	cemented unicompartmental polyethylene fixed tibial insert	1 to 5, left and right, 8/9/10/11/12/14mm 	$790.00

thiknesses

Prostheses List by Category, Groups and Sponsor	Page 639 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM121	UC (Unicompartment) PLUS Solution Knee System Uni 	Uni Tibial Insert, UHMWPE, fixed	40 (8mm, 10mm, 12mm, 14mm), 44 (8mm, 	$790.00

Tibial Insert	10mm, 12,, 14mm), 48 (8mm, 10mm, 12mm,

14mm), 52 (8mm, 10mm, 12mm, 14mm), 56

(8mm, 10mm, 12mm, 14mm)

SN334	Genesis Uni Tibial Insert	Uni Tibial Insert, UHMWPE, fixed	x-Small-Magnum 8mm-12mm	$790.00

SN837	Journey Knee System Uni Tibial Insert	Uni Tibial Insert, for fixed bearing, UHMWPE	10-18mm	$790.00

Stryker Australia Pty Ltd

SK498	Triathlon PKR - X3 Polyethylene Tibial insert	Uni tibial insert, X3 polyethylene, fixed	Size 1 to 6, thicknesses from 8mm to 12mm	$790.00

ST656	UNIX Unicompartmental Knee System Tibial Insert	Uni tibial insert, UHMWPE, Fixed	1, 2, 3, 4 in 8, 10, 12, 15mm	$790.00	$1,456.00

Zimmer Pty Ltd

ZI105	Miller Galante  Unicompartmental Insert 	Uni Tibial Insert, UHMWPE, fixed 	8 - 14 mm	$790.00

ZI429	Natural Knee	Unicompartmental - Tibia PE Insert	1,2 x 9mm to 5,6 x 13mm	$790.00	$825.00

Group 6b - Mobile bearing

Biomet Australia Pty Ltd

BI032	Oxford Meniscal Knee System Uni Tibial Insert 	Uni Tibial Insert, mobile bearing, UHMWPE	Small Standard, Large, Xlarge, sizes 3-9 	$790.00

BI861	Oxford Meniscal Knee System Uni Tibial Insert 	Uni Tibial Insert conforming surface, mobile bearing, 	(Small - Extra Large) x (3-9)	$790.00

UHMWPE (Phase III)

Corin Australia Pty Ltd

CR060	Uniglide Uni Knee System Uni Tibial Insert 	Uni tibial insert, mobile bearing, UHMWPE	Height 4, 5, 6, 7, 8, 9, 10, 11, 12mm; Size 1-4	$790.00

Johnson & Johnson Medical Pty Ltd

JJ661	Preservation Knee System Uni Tibial Insert	Uni Tibial Insert, Mobile Bearing, UHMWPE	Sizes 1-5. 7-15mm	$790.00

Mathys Orthopaedics Pty Ltd

MA455	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, mobile 	5,6,7,9	$790.00	$900.00

MA478	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, mobile convex for the uni 	5, 6, 7, 9	$790.00	$1,100.00

convex tibial baseplate

Prostheses List by Category, Groups and Sponsor	Page 640 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Knee - Tibial Tray Component: Total Knee Arthroplasty

Group 3a - Cemented, all polyethylene

Advanced Surgical Technologies

AD170	Advantim Total Knee System	All Poly Tibial UHMWPE	Small, Medium, Large, Xlarge	$1,250.00

Johnson & Johnson Medical Pty Ltd

JJ589	PFC Sigma Knee System tibial baseplate	All poly UHMWPE, Cemented, pegged	Sizes  1 - 6.  8-30mm	$1,250.00

JJ590	PFC Sigma Knee System Tibial Baseplate	All poly UHMWPE, cemented, non pegged 	Sizes  1 - 6.  8-30mm	$1,250.00

Smith & Nephew Surgical Pty Ltd

SN869	Genesis II Knee System Tibial Baseplate	Tibial Baseplate, all poly, cemented	Left / Right 1 - 8	$1,250.00

SN870	Profix Knee System Tibial Baseplate	Tibial Baseplate, all poly, cemented	Left / Right 1 - 8	$1,250.00

Stryker Australia Pty Ltd

HW095	Duracon Knee System Tibial Baseplate 	Tibial baseplate, All UHMWPE, cemented 	Small, Medium, Large, Extra-Large	$1,250.00

ST647	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, All UHMWPE, cemented 	3, 5, 7, 9, 11, 13	$1,250.00

Zimmer Pty Ltd

ZI127	NexGen Knee Tibial Baseplate	Baseplate All Poly, cemented, UHMWPE	1 - 10	$1,250.00	$1,300.00

Group 3b - Cemented, Alloy

Advanced Surgical Design & Manufacture Ltd

AE040	Active Knee Tibial Baseplate	Tibial baseplate, Cemented, CoCr	Sizes 1-5 	$2,150.00

AE115	3D Knee System - Tibial Baseplate, Cemented	Assymetric (left and right specific) tibial baseplate, CoCro 	Left Sizes 2,4,6,8,10,12; and Right Sizes 	$2,150.00

with a winged keel design	2,4,6,8,10,12

Advanced Surgical Technologies

AD135	Advance Total Knee System	Tibial component, CoCr, cemented	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$2,150.00

AD192	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, cemented, non 	Small, Small Plus, Medium, Medium Plus, 	$2,150.00

beaded CoCr	Large, Large Plus, Xlarge

ESKA Australia

EK025	ST Tibial Baseplate 	Tibial baseplate   cemented, CoCr 	s-small, small, medium, large, x-large	$2,150.00

Prostheses List by Category, Groups and Sponsor	Page 641 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI010	MRK (Medial Rotation Knee) Total Knee System Tibial 	Tibial Baseplate, cemented, Titanium for fixed insert 	1-5	$2,150.00

Baseplate

FI054	Saiph Knee System Tibial Component Cemented	CoCr Tibial Component, Cemented	A - F, Standard and Long Stem	$2,150.00

Global Orthopaedic Technology

GO125	3D Knee System Tibial Baseplate 	Tibial Baseplate, cemented, CoCr	Size 1 to 12	$2,150.00	$2,600.00

GO194	APEX Knee Reconstruction System, Tibial Baseplate, 	Tibial Baseplate, Cemented, Non-Porous, Size 1 - 7 Left 	Size 1 Left & Right, size 2 Left & Right, size 3	$2,150.00

Cemented, Non-Porous	& Right	 Left & Right, size 4 Left & Right, size 5 Left

& Right, size 6 Left & Right, size 7 Left &

Right.

Mathys Orthopaedics Pty Ltd

MA109	BalanSys Tibial Baseplate 	Tibial Baseplate for fixed bearing insert,  cemented, CoCr	ML/AP Dimensions: 64/70/75/80/85	$2,150.00

MA488	BalanSys Tibial Baseplate 	Tibial Baseplate for  posterior stabilised fixed insert only, 	ML/AP Dimensions: 64/70/75/80/85	$2,150.00	$2,400.00

cemented, CoCr

MA491	Balansys Tibia Baseplate / Tibial Baseplate for CR fixed 	Balansys Tibial Baseplate/ Tibial Baseplate for CR fixed 	64-85	$2,150.00	$2,650.00

bearing insert only, cemented, Co,Cr, TiNbN coated	bearing insert only, cemented, CoCrMo, TiNbN coated

MA492	Balansys Tibial Baseplate? Tibial Baseplate for posterior 	Balansys Tibial Baseplate? Tibial Baseplate for posterior 	64 - 85	$2,150.00	$2,900.00

stabilised fixed insert only, cemented, CoCr, TiNbN 	stabilised fixed insert only, cemented, CoCrMo, TiNbN

coated	coated

Medacta Australia Pty Ltd

MU075	GMK Cemented fixed Tibia Tray	Asymmetric polished cemented fixed tibial component	1 to 6, left to right	$2,150.00

Smith & Nephew Surgical Pty Ltd

SM065	VKS (Vario) Knee System Tibial Baseplate	Tibial Baseplate, CoCr, Cemented, for fixed insert	1-12	$2,150.00

SN354	Genesis Knee System Tibial Baseplate	Tibial Baseplate, cemented, titanium	Left/Right Small- Magnum 8mm-15mm	$2,150.00

SN848	Journey Knee System Tibial Baseplate	Tibial baseplate, cemented, Titanium, for fixed insert	Sizes 1-8, Left and Right	$2,150.00

SN857	Genesis II Knee System Tibial Baseplate	Tibial Baseplate, cemented, Titanium, grit blasted	1 - 9	$2,150.00

Prostheses List by Category, Groups and Sponsor	Page 642 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN858	Profix Knee System Tibial Baseplate	Tibial Baseplate, cemented, Titanium, grit blasted	1 - 8	$2,150.00

Stryker Australia Pty Ltd

HW087	Duracon Knee System Tibial Baseplate 	Tibial baseplate, cemented, cruciform stem, CoCr 	Small, Medium, Large, Extra-Large	$2,150.00

(Vitallium)

HW154	Kinemax Knee System Tibial Baseplate 	Tibial baseplate, cemented, CoCr (Vitallium) 	XS, S, M, L, XL	$2,150.00

SK327	Triathlon Knee System Tibial Baseplate	Tibial baseplate, cemented, CoCr  	Sizes 1 to 8	$2,150.00

ST066	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, cemented, CoCr 	3, 5, 7, 9, 11, 13	$2,150.00

Tornier Pty Ltd

TO034	HLS Noetos Tibial Baseplate, Fixed	Tibial Baseplate/Tray, Cemented, Fixed Bearing, CoCr	Size 1 to 6	$2,150.00

Zimmer Pty Ltd

ZI413	Natural Knee Tibial Baseplate 	Tibial Baseplate, Cemented - Titanium for fixed inserts 	Size 00 to 5	$2,150.00	$2,340.00

ZI435	SAL Knee	Tibial Baseplate - CoCr alloy	60/AOA to 92/E	$2,150.00	$2,400.00

ZI595	NexGen Knee Tibial Components Stemmed - Option	Option - Titanium	1 to 10	$2,250.00	$2,360.00

ZI608	Natural Knee II Modular Cemented Tibial Baseplate	Modular Cemented Baseplate	Sizes 00, 0, 1,2,3,4, 5 - Left and Right	$2,150.00	$3,650.00

Rev

Advanced Surgical Technologies

AD147	Advance Revision Knee System	Revision tibial component,  titanium, cemented	0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$3,650.00

AD218	Advance Total Knee System	Revision tibial component, titanium, cemented with offset 	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ in Left & 	$3,650.00	$4,368.00

stem	Right

B Braun Australia Pty Ltd

BB204	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial baseplate, cemented, CoCr for fixed insert	T1 to T5	$3,650.00

Biomet Australia Pty Ltd

BI169	Biomet Universal Tibial Baseplate 	Tibial baseplate, Cemented, Titanium, which allows for 	59-91mm	$3,650.00

attachmnet of a variety of different stems and for fixed

inserts

BI177	Biomet Universal Stemmed Tibial Component 	Tibial Baseplate, titanium, cemented	59-91mm	$3,650.00

Prostheses List by Category, Groups and Sponsor	Page 643 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI182	Biomet Universal Tibial Baseplate 	Tibial baseplate, Cemented, Titanium, with extended stem 	59-91mm	$3,650.00

connector that allows for attachment of a variety of different

stems and for fixed inserts

BI811	Offset Tibial Tray System 	Tibial baseplate, Cemented, Titanium, which allows for 	59-91mm	$3,650.00

attachment of the offset adaptor

Exactech Australia

EX032	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert, cemented	Size 1-6	$2,150.00

EX036	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert (finned), cemented	Size 1-6	$2,150.00

Johnson & Johnson Medical Pty Ltd

DY467	PFC Sigma Knee System tibial baseplate	Tibial baseplate, cemented, keeled, Titanium, standard and 	Size 1-6	$3,650.00

offset keels with capacity for augment and stem attachment

JJ510	PFC Sigma Knee System tibial baseplate	Tibial baseplate, cemented, keeled, forged CoCr, polished 	Size 1-6	$3,650.00

tibial insert surface

JJ662	PFC Sigma Knee System Tibial Baseplate	Tibial baseplate, cemented, keeled, titanium, with capacity 	Size 1-6	$2,150.00

for stem attachment

JJ663	PFC Sigma Knee System Tibial Baseplate	Tibial baseplate, cemented, cruciform keeled, titanium	Size 1-6	$2,150.00

Medacta Australia Pty Ltd

MU030	Evolis Knee System Tibial baseplate  	Tibial baseplate, cemented, titanium for fixed insert 	1 - 6	$3,650.00

Orthotech Pty Ltd

OH329	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert, cemented	Size 1-6	$2,150.00

OH330	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert (finned), cemented	Size 1-6	$2,150.00

Smith & Nephew Surgical Pty Ltd

SM100	TC (Tri Compartment) PLUS Knee System Tibial 	Tibial Baseplate, CoCr, Cemented, for fixed insert	2 - 10	$3,650.00

Baseplate

SN824	Legion Knee System Tibial Baseplate	Tibial baseplate, cemented, Titanium, for fixed insert,	1-8	$3,650.00

Prostheses List by Category, Groups and Sponsor	Page 644 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SR034	Triathlon TS Knee System Tibial Baseplate 	Tibial baseplate, stemmed revision, cemented, CoCr	1 to 8	$3,650.00

SR080	Duracon Knee System Stemmed Revision Baseplate	Stemmed revision baseplate, CoCr, (Vitallium). Cemented, 	XS1, XS2, S1, S2, M1, M2,  L1, L2, Xl1, Xl2	$3,650.00	$3,800.00

Fixed

ST034	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, cemented, ability to attach stems, CoCr  	3,5,7,9,11,13	$3,650.00

Tornier Pty Ltd

TO026	HLS Noetos Revision Tibial Baseplate 	Tibial Tray, CoCr, cemented, 	1 to 6	$3,650.00

Rev, H

Smith & Nephew Surgical Pty Ltd

SM092	RT (Rotating Hinge) PLUS Knee System Tibial 	Tibial Baseplate, CoCr, cemented, for fixed insert	0-10	$4,150.00

Baseplate

Stryker Australia Pty Ltd

HW141	MRH (Modular Rotating Hinge) Tibial Baseplate	MRH Tibial baseplate, CoCr (Vitallium), fixed insert with 	Small, Medium, Large	$4,150.00

central hole for hinged insertion, w/attachable stem

Group 3c - Cemented, Alloy,  PMMA coating

Zimmer Pty Ltd

ZI073	Insall-Burstein II Tibial Baseplate 	Tibial baseplate cemented, titanium, PMMA coating, for 	54 - 74mm	$2,250.00	$2,360.00

fixed insert

ZI102	Miller Galante II Tibial Baseplate 	Tibial Baseplate, PMMA, Titanium, cemented, for fixed 	A - K	$2,250.00	$2,360.00

insert

ZI122	NexGen Tibial Baseplate  	Pegged Tibial Baseplate, cemented, for fixed insert, 	1  - 10	$2,250.00	$2,360.00

titanium, PMMA coated

ZI126	NexGen Knee Tibial Baseplate 	Stemmed AP wedged tibial baseplate, cemented, for fixed 	1 - 10	$2,250.00	$2,360.00

insert, titanium, PMMA coated

ZI594	NexGen Knee Tibial Components Stemmed - Precoat	Precoat - Titanium	1 to 10	$2,250.00	$2,360.00

Prostheses List by Category, Groups and Sponsor	Page 645 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 3d - Cemented, Alloy, Moulded polyethylene

Biomet Australia Pty Ltd

BI153	AGC Knee System Tibial  Baseplate 	Tibial baseplate, CoCr,  Moulded, V2 (version 2), 	63-91mm	$3,150.00

UHMWPE, cemented

BI810	Vanguard  Complete Knee System	Tibial bearing & tray, ' Mono Lok' Cruciate Retaining or 	59 -91mm	$3,150.00

Posterior Stabilised, CoCr UHMWPE

Group 3f - Cemented, Alloy, for mobile insert

Advanced Surgical Design & Manufacture Ltd

AE044	Active Knee Mobile Tibial Tray 	Tibial Tray, mobile,  Cemented, CoCr	Sizes 1-5	$2,400.00

B Braun Australia Pty Ltd

BB201	Emotion Total Knee System (TKS) Tibial Baseplate 	Tibial baseplate, cemented, CoCr, with polished insert 	T1 to T8, left and right	$2,400.00

surface for mobile insert

Biomet Australia Pty Ltd

BI196	Vanguard Rotating Platform Tibial Baseplate 	Tibial Baseplate Chrome Cobalt	63-87mm	$2,400.00	$2,901.00

BI894	ROCC Tibial Baseplate 	Tibial Baseplate, cemented, CoCr for mobile insert  	1-8	$2,400.00	$2,900.00

ESKA Australia

EK050	RP (Rotating Platform)Tibial baseplate 	Tibial Baseplate cemented for mobile insert  CoCr	S - Small - Small - Medium - Large - X-Large	$2,400.00	$2,600.00

Exactech Australia

EX040	Optetrak RBK (Rotating Bearing Knee) Tibial Baseplate 	Tibial Baseplate, titanium with polished insert surface, 	1-6	$2,400.00	$2,800.00

cemented, for a mobile insert

Finsbury Orthopaedics Australia Pty Ltd

FI007	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial baseplate, CoCr, cemented, with polished insert 	1-6	$2,400.00

Baseplate 	surface for mobile bearing insert

Global Orthopaedic Technology

GO003	RBK Total Knee System Tibial Baseplate 	Tibial baseplate, grit blast, CoCr, cemented, for mobile 	0 - 5	$2,400.00	$3,692.00

bearing insert

Prostheses List by Category, Groups and Sponsor	Page 646 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO155	RBK Universal Knee System Tibial Baseplate 	Tibial Baseplate, short keel,  cemented, CoCr, for mobile 	1 - 5	$2,400.00	$3,692.00

insert

Johnson & Johnson Medical Pty Ltd

DP032	MBT Knee System tibial baseplate 	Tibial baseplate, cemented, CoCr, for rotating platform, 	Sizes 1 - 7	$2,400.00

(keeled and non keeled)

DP235	LCS Classic and Universal Knee System tibial baseplate	Tibial baseplate, CoCr, cemented for rotating platform 	Sizes small to large+	$2,400.00

Mathys Orthopaedics Pty Ltd

MA312	Balansys Tibial Baseplate	Tibial baseplate for Mobile Bearing insert, cemented, CoCr	ML/AP Dimensions: 64/70/75/80/86	$2,400.00	$2,600.00

Medacta Australia Pty Ltd

MU047	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, cemented, with polished insert surface for 	Sizes 1 to 7, Left and Right	$2,400.00

mobile insert

MU077	GMK Mobile Cemented Tibia Tray	Asymmetric mobile cemented tibial component	1 to 6, left to right	$2,400.00

Orthotech Pty Ltd

OH236	Optetrak RBK (Rotating Bearing Knee) Tibial Baseplate 	Tibial Baseplate, titanium with polished insert surface, 	1-6	$2,400.00	$2,800.00

cemented, for a mobile insert

Smith & Nephew Surgical Pty Ltd

SM030	TC (Tri Compartment) PLUS Knee System Tibial 	Tibial Baseplate, CoCr, Cemented for mobile insert, 	2 to 12	$2,400.00

Baseplate	polished insert surface

SN369	Mobile Bearing Knee System Tibial Baseplate	Tibial baseplate, cemented, CoCr, polished insert surface, 	Left & Right, Size 1-8	$2,400.00

for mobile insert,

Stryker Australia Pty Ltd

SR030	Triathlon Knee System Tibial Baseplate 	Mobile bearing, tibial baseplate, cemented, CoCr  	1 to 8	$2,400.00	$2,800.00

ST069	Scorpio Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, cemented, CoCr	3, 5, 7, 9, 11, 13	$2,400.00

ST913	Duracon ISA Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, cemented, CoCr (Vitallium) 	Small, medium, large, X-large	$2,400.00

Tornier Pty Ltd

TO033	HLS Noetos Tibial Baseplate, mobile	Tibial Baseplate/Tray, Cemented, Mobile Bearing, CoCr	Size 1 to 6	$2,400.00

Prostheses List by Category, Groups and Sponsor	Page 647 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI503	Natural Knee	Primary Tibial Baseplate - Mobile Bearing Non Porous - 	Size 00 to 5	$2,400.00

CoCr alloy

CS

Medacta Australia Pty Ltd

MU048	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, cemented, titanium, with TiNi (TiNibN) 	Sizes 1 to 7, Left and Right	$2,400.00

surface coating of insert surface for mobile insert

CS, Rev

Endotec Australia Pty Ltd

EA009	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, cemented, Titanium, TiNi Insert surface 	1-6(inc)	$2,400.00

System Tibial Baseplate 	treated, for a mobile insert

Rev

B Braun Australia Pty Ltd

BB253	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr for mobile insert, 	T1- T5	$3,900.00

polished insert surface

Biomet Australia Pty Ltd

BI891	Rotating Hinge Knee (RHK) Tibial Baseplate 	Tibial baseplate, cemented, for mobile insert, polished insert	Stemmed 59, 63, 67, 71mm widths; Modular 	$3,900.00	$7,700.00

surface 	59, 63, 67, 71, 75, 79, 83mm widths

Corin Australia Pty Ltd

CR010	Rotaglide + Total Knee System Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr, polished insert surface 	Ex Sml - Ex Lge	$2,150.00

for mobile insert but fixed insert can also be used

CR106	Score Knee System Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr, polished insert surface 	7 Sizes	$3,900.00

for mobile insert

Endotec Australia Pty Ltd

EA016	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, cemented, Titanium, TiNi Inserts and 	BP TKR Cemented Revision tibial sizes 1-	$3,900.00	$4,450.00

System Tibial Baseplate 	bone surface treatment	6(inc)

Global Orthopaedic Technology

GO115	RBK Total Knee System Tibial Baseplate 	Tibial Baseplate, for mobile insert, CrCo, cemented	Size 00 to 5	$3,900.00

Johnson & Johnson Medical Pty Ltd

JJ634	LCS Complete Knee System - MBT Revision Thick 	Thick Tibial Tray	1 to 6	$3,900.00	$5,400.00

Tray

Prostheses List by Category, Groups and Sponsor	Page 648 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Rev, H

Johnson & Johnson Medical Pty Ltd

DP259	SROM Noiles Knee System femoral component 	Tibial baseplate, CoCr, cemented, for rotating platform 	Sizes xxsmall-large	$4,400.00

insert

DY151	MBT Knee System Revision Tibial base Plate 	Tibial baseplate, cemented, CoCr, for rotating platform, 	Sizes 1-7	$4,400.00

also usable with specific hinged insert

Smith & Nephew Surgical Pty Ltd

SM160	Legion Hinge Tibial Baseplate	A tibial baseplate used for the Legion Hinge system.	Size 2 to 7 Left, Right	$4,150.00

Zimmer Pty Ltd

ZI308	Nexgen Rotating Hinge Tibial Baseplate 	Stemmed Tibial Baseplate with polished tibial insert surface,	1-6	$4,400.00

cemented, PMMA coated for Nexgen rotating hinged

femoral component

Rev, Ri

Biomet Australia Pty Ltd

BI955	AGC Dual Articular Knee System Tibial Baseplate 	Tibial baseplate, CoCr, polished insert surface, for mobile 	59 - 83mm	$3,900.00

insert with reinforcement post

Group 3g - Cemented, Alloy, for mobile insert, PMMA coating

Zimmer Pty Ltd

ZI061	NexGen Tibial Baseplate  	Tibial baseplate, cemented, CoCr, with PMMA coating for	Sizes 1 - 10	$2,500.00	$2,915.00

mobile insert

ZI129	NexGen Legacy Knee Tibial Baseplate 	Tibial baseplate, cemented, CoCr, with PMMA coating for	1 - 10	$2,500.00	$2,915.00

legacy posterior stabilised mobile insert

ZI415	Natural Knee	Primary Tibial Baseplate - Mobile Bearing Non Porous - 	Size 00 to 5	$2,500.00	$2,915.00

CoCr alloy

Group 3h - Uncemented, Alloy

Advanced Surgical Design & Manufacture Ltd

AE113	3D Knee System- Tibial Baseplate, Porous	Asymmetric (left and right specific) tibial baseplate, CoCro 	Left sizes: 2,4,6,8,10,12; and Right sizes 	$2,300.00

with a winged keel design	2,4,6,8,10,12

Prostheses List by Category, Groups and Sponsor	Page 649 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Advanced Surgical Technologies

AD193	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, uncemented and 	Small, Small Plus, Medium, Medium Plus, 	$2,300.00

beaded CoCr	Large, Large Plus, Xlarge

Biomet Australia Pty Ltd

BI170	Maxim Complete Knee System Tibial Baseplate 	Tibial baseplate, uncemented, Titanium plasma sprayed 	59-91mm	$2,300.00	$2,460.00

surface (Porous plasma spray PPS)

BI977	Regenerex Tibial Tray	Tibial Baseplate, modular. Regenerex porous coat, Ti Alloy	59, 63, 67, 71, 75, 79, 83 mm	$2,300.00	$3,750.00

Global Orthopaedic Technology

GO126	3D Knee System Tibial Baseplate 	Tibial Baseplate, uncemented,  beaded, CoCr and Titanium	Size 1 to 12	$2,300.00	$3,536.00

Smith & Nephew Surgical Pty Ltd

SM066	VKS (Vario) Knee System Tibial Baseplate	Tibial Baseplate, CoCr, uncemented, Titanium Plasma 	1-12	$2,300.00

Spray (Vacuum spray and triple layer), for fixed insert

SN356	Genesis Knee System Tibial Baseplate	Tibial Baseplate, uncemented, CoCr, beaded, for fixed 	Left/Right Small - Magnum	$2,300.00

insert

SN859	Genesis II Knee System Tibial Baseplate	Tibial Baseplate, cementless, titanium, beaded, for fixed 	Left / Right 1-8	$2,300.00

insert

SN860	Profix Knee System Tibial Baseplate	Tibial Baseplate, cementless, titanium, beaded, for fixed 	Left / Right 1-8	$2,300.00

insert

Stryker Australia Pty Ltd

HW086	Duracon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, CoCr (Vitallium) 	Small, Medium, Large, Extra-Large	$2,300.00

SK388	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, CoCr	Sizes 1 to 8	$2,300.00	$2,652.00

ST029	Scorpio Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded (microstructure), 	3,5,7,9,11,13	$2,300.00

CoCr

Zimmer Pty Ltd

ZI086	Stemmed Tibial Tray:Porous	Ti	A - K	$2,300.00	$2,395.00

ZI103	Miller Galante II Tibial Baseplate 	Tibial Baseplate, titanium, fibre metal mesh ingrowth, 	A - K	$2,300.00	$2,395.00

uncemented for fixed insert

ZI104	Miller Galante II Tibial Baseplate 	Tibial Baseplate, titanium, uncemented, fibre metal mesh 	A - K	$2,300.00	$2,395.00

ingrowth, for fixed insert

Prostheses List by Category, Groups and Sponsor	Page 650 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI120	NexGen Tibial Baseplate 	Pegged tibial baseplate,  uncemented, titanium fibre metal 	1  - 10	$2,300.00	$2,395.00

mesh for fixed insert

ZI412	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  Cancellous structure 	Size 00 to 5	$2,300.00	$2,395.00

Titanium ingrowth surface for fixed inserts

ZI569	Nexgen Trabecular Metal Tibial Tray	Nexgen Trabecular Metal Tibial Tray	sizes 2, 3, 4, 5, 6, 7 & 8	$2,300.00	$3,750.00

Rev

Advanced Surgical Technologies

AD183	Advance Total Knee System	Tibial component, beaded, titanium	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$3,800.00

AD190	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem Thickened Base 	Small, Small Plus, Medium, Medium Plus, 	$3,800.00

(beaded)	Large, Large Plus, Xlarge

AD191	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem, medial or lateral 	Small, Small Plus, Medium, Medium Plus, 	$3,800.00

wedged base (beaded) Titanium	Large, Large Plus, Xlarge

B Braun Australia Pty Ltd

BB231	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr for fixed insert	T1 - T5	$3,800.00

Medacta Australia Pty Ltd

MU040	Evolis Knee System Tibial baseplate  	Tibial baseplate, uncemented, titanium with titanium plasma 	1 -6	$3,800.00

spray, for fixed insert

Stryker Australia Pty Ltd

SR081	Duracon Knee System Stemmed Revision Baseplate	Stemmed revision baseplate, CoCr, (Vitallium), 	S1, S2, M1, M2, L1, L2 XL1, XL2	$3,800.00	$3,905.00

uncemented, beaded, with screw holes for screw fixation,

fixed

Zimmer Pty Ltd

ZI123	NexGen Tibial Baseplate 	Stemmed tibial baseplate,  uncemented, titanium fibre metal 	1  - 10	$3,800.00

mesh for fixed insert

ZI416	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  with fixed long stems and 	0 to 5	$3,800.00

capacity to attach augments, Cancellous structure Titanium

ingrowth surface for fixed inserts

Prostheses List by Category, Groups and Sponsor	Page 651 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 3i - Uncemented, Alloy,  HA coating

Advanced Surgical Design & Manufacture Ltd

AE043	Active Knee Tibial Baseplate	Tibial baseplate, uncemented, beaded with HA, Titanium 	Sizes 1-5 	$2,700.00

AE099	Active Knee Tibial Baseplate 	Tibial Baseplate, HA, uncemented, beaded, stemmed , 	Sizes 1 to 5 (A-Narrow & B-Wide)	$2,700.00	$3,200.00

CoCr

Biomet Australia Pty Ltd

BI186	Maxim Complete Knee System Tibial Baseplate 	Tibial baseplate, uncemented, Titanium plasma sprayed 	59 - 91mm	$2,700.00	$2,846.00

surface (Porous plasma spray PPS) with HA

BI961	Tibial Tray System	Tibial Tray System - Primary, one piece, highly polished, 	59-91	$2,700.00

uncemented, HA, plasma porous coated

ESKA Australia

EK026	ST Tibial Baseplate 	Tibial Baseplate, uncemented, Spongiousa metal, titanium 	s-small, small, medium, large, x-large	$2,700.00

and CoCr

Finsbury Orthopaedics Australia Pty Ltd

FI011	MRK (Medial Rotation Knee) Total Knee System Tibial 	Tibial Baseplate, uncemented, Titanium with stippled 	1-5	$2,700.00

Baseplate 	surface titanium plasma spray HA coated

FI055	Saiph Knee System Tibial Component Cementless	CoCr Tibial Component, Porous Titanium and HA	A - F, Standard an Long Stem	$2,700.00

Global Orthopaedic Technology

GO193	APEX Knee Reconstruction System, Tibial Baseplate, 	Tibial Baseplate, Cementless, Porous Coated HA, With & 	Size 1 Left & Right, size 2 Left & Right, size 3	$2,700.00	$3,650.00

Cementless, Porous Coated HA With & Without Holes	Without Holes, Size 1 to 6, Left & Right.	 Left & Right, size 4 Left & Right, size 5 Left

& Right, size 6 Left & Right.

Johnson & Johnson Medical Pty Ltd

DP891	AMK Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, beaded, HA 	Size 1-5	$2,700.00

(Duofix), for fixed insert

Medacta Australia Pty Ltd

MU067	GMK Uncemented Fixed Tibia Tray	Asymmetric uncemented fixed tibial component	1 to 6, left and right	$2,700.00

Prostheses List by Category, Groups and Sponsor	Page 652 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN861	Genesis II Knee System Tibial Baseplate	Tibial baseplate, cementless, titanium, beaded, HA for fixed	Left / Right 1 - 8	$2,700.00

insert

SN862	Profix Knee System Tibial Baseplate	Tibial baseplate, cementless, titanium, beaded, HA for fixed	Left / Right 1 - 8	$2,700.00

insert

Stryker Australia Pty Ltd

HW088	Duracon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, cruciform stem, with	Small, Medium, Large, Extra-Large	$2,700.00

PA (Hydroxyapatite), CoCr (Vitallium)

SK326	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded with PA 	Sizes 1 to 8	$2,700.00

(Hydroxyapatite), without screw holes, CoCr

SK433	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded with PA 	1-8	$2,700.00

(Hydroxyapatite), with screw holes, CoCr

ST031	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded (microstructure) with	3,5,7,9,11,13	$2,700.00

PA (Hydroxyapatite), ability to add screws, CoCr

ST648	Scorpio Knee System & S7000 Tibial Baseplate 	Tibial baseplate, uncemented, with Hydroxyapatite, CoCr	3, 5, 7, 9, 11, 13	$2,700.00

Zimmer Pty Ltd

ZI121	NexGen Tibial Baseplate 	Pegged tibial baseplate,  uncemented, titanium fibre metal 	1  - 10	$2,700.00	$2,815.00

mesh, with HA/TCP for fixed insert

ZI124	NexGen Tibial Baseplate 	Stemmed tibial baseplate,  uncemented, titanium fibre metal 	1  - 10	$2,700.00	$2,815.00

mesh, with HA/TCP for fixed insert

Rev

Advanced Surgical Technologies

AD276	Advance HA Coated Tibial Base	Tibial component, beaded, titanium, HA	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$2,700.00

Group 3j - Uncemented, Alloy, Moulded polyethylene

Biomet Australia Pty Ltd

BI863	AGC Knee System Tibial  Baseplate 	Tibial baseplate, titanium, Moulded, V2 (version 2), 	(63-91) x (8-22)mm	$3,300.00

uncemented with titanium plasma sprayed surface (Porous

plasma spray PPS)

Prostheses List by Category, Groups and Sponsor	Page 653 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Zimmer Pty Ltd

ZI295	NexGen Porous Tantalum Tibial Baseplate and Insert	One piece Trabecular Metal (Tantalum) Tibial Baseplate 	Sizes 3 - 8, Height 10mm - 17mm	$3,300.00	$4,540.00

and Insert UHMWPE (minimal and posterior constrained)

Group 3l - Uncemented, Alloy, for mobile insert

Biomet Australia Pty Ltd

BI771	Rotating Platform Knee System	Tibial component, Porous, CoCr, Ti	63-87mm	$2,950.00	$4,180.00

ESKA Australia

EK045	RP (Rotating Platform)Tibial baseplate 	Tibial Baseplate uncemented (spongiosa metal), titanium 	S-Small-Small-Medium-Large-X-Large	$2,950.00

and CoCr, for mobile insert

Global Orthopaedic Technology

GO004	RBK Total Knee System Tibial Baseplate 	Tibial baseplate, CoCr, beaded, uncemented, for mobile 	1-5	$2,950.00	$3,900.00

bearing insert

GO156	RBK Universal Knee System Tibial Baseplate 	Tibial Baseplate, short keel,  uncemented, CoCr, beaded, 	1 - 5	$2,950.00	$3,900.00

for mobile insert

Johnson & Johnson Medical Pty Ltd

DP031	MBT Knee System tibial baseplate 	Tibial baseplate, uncemented, CoCr, beaded (Porocoat) 	Sizes 1 - 7	$2,950.00

for rotating platform, (keeled and non keeled)

Mathys Orthopaedics Pty Ltd

MA460	Balansys Tibial Baseplate	Tibial Baseplate for Mobile Bearing insert, Uncemented, 	64/8mm - 85/15.5mm	$2,950.00	$3,300.00

CoCr

Smith & Nephew Surgical Pty Ltd

SM068	VKS (Vario) Knee System Tibial Baseplate	Tibial Baseplate, CoCr, uncemented, Titanium Plasma 	1-12	$2,950.00

Spray (Vacuum spray and triple layer), for mobile insert

(SB (Self aligning bearing))

SN370	Mobile Bearing Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded, HA, CoCr, polished	Left & Right, Size 1-8	$2,950.00

insert surface, for mobile insert,

Zimmer Pty Ltd

ZI414	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  with fixed long stems and 	Size 00 to 5	$2,950.00

capacity to attach augments, Cancellous structure Titanium

ingrowth surface for mobile inserts

Prostheses List by Category, Groups and Sponsor	Page 654 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CS

Endotec Australia Pty Ltd

EA008	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, uncemented, beaded, Titanium, TiNi 	1-6(inc)	$2,950.00	$3,650.00

System Tibial Baseplate 	Insert and bone ingrowth surface treated, for a mobile insert

Johnson & Johnson Medical Pty Ltd

DY377	MBT knee system tibial baseplate 	Tibial baseplate, uncemented, Titanium, TiN, beaded 	Sizes 1 - 7	$2,950.00

(Porocoat) for rotating platform, (non keeled only)

Rev

B Braun Australia Pty Ltd

BB254	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial Baseplate, uncemented,CoCr, Titanium plasma spray	T1- T5	$4,300.00

(Plasmapore), polished insert surface for mobile insert

Endotec Australia Pty Ltd

EA015	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, uncemented, beaded, Titanium, TiNi 	1-6(inc)	$4,300.00	$5,300.00

System Tibial Baseplate 	Insert and bone ingrowth surface treated, for a mobile insert

Group 3m - Uncemented, Alloy, for mobile insert, HA coating

Advanced Surgical Design & Manufacture Ltd

AE045	Active Knee Mobile Tibial Tray 	Tibial Tray, mobile,  uncemented, beaded, with HA, CoCr	Sizes 1-5	$3,350.00

B Braun Australia Pty Ltd

BB233	Emotion Total Knee System (TKS) Tibial Baseplate 	Tibial baseplate, uncemented, CoCr, Titanium plasma spray	T1 - T8	$3,350.00

(Plasmapore) with polished insert surface, HA coated for

mobile insert

Biomet Australia Pty Ltd

BI900	ROCC Tibial Baseplate 	Tibial Baseplate, uncemented, Titanium plasma sprayed 	1-8	$3,350.00	$4,180.00

surface (Porous plasma spray PPS) with HA for mobile

insert

BI909	Rotating Platform Knee System	Tibial Component, Porous, HA Coated, CoCr, Ti, HAP	63 - 87mm	$3,350.00	$4,180.00

Prostheses List by Category, Groups and Sponsor	Page 655 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI008	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial Baseplate, uncemented, CoCr with stippled surface 	1-6	$3,350.00

Baseplate 	titanium plasma spray HA coated

Global Orthopaedic Technology

GO005	RBK Total Knee System Tibial Baseplate 	Tibial baseplate, CoCr,  uncemented, beaded, with 	1-5	$3,350.00	$4,108.00

Titanium plasma spray and HA for mobile bearing insert

GO157	RBK Universal Knee System Tibial Baseplate 	Tibial Baseplate, short keel,  uncemented, CoCr, beaded, 	1 -5	$3,350.00	$4,108.00

with titanium plasma spray and HA, for mobile insert

Johnson & Johnson Medical Pty Ltd

DP035	MBT Knee System tibial baseplate 	Tibial baseplate, uncemented, CoCr, HA (Duofix), beaded 	Size 1-7	$3,350.00

(Porocoat) for rotating platform, ( non keeled only)

Link Orthopaedics  Australia

LO129	Link Gemini Tibial Baseplate 	Tibial Baseplate, uncemented, Microporous, HX coating 	Extra Small - Extra Large	$3,350.00

(hydroxy apatite)

Medacta Australia Pty Ltd

MU053	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, with titanium micro 	Sizes 1 to 7, left and right	$3,350.00	$4,108.00

beads, with HA, with polished insert surface for mobile

insert

MU076	GMK Uncemented mobile Tibia Tray	Asymmetric uncemented mobile tibia with titanium porous 	1 to 6, left and right	$3,350.00	$4,108.00

coating by an hydroxyapatite coating

Stryker Australia Pty Ltd

ST067	Scorpio Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, uncemented, beaded 	3, 5, 7, 9, 11, 13	$3,350.00

(microstructure) with PA (Hydroxyapatite), CoCr

Rev

Corin Australia Pty Ltd

CR009	Rotaglide + Total Knee System, Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, stippled surface, 	Ex Sml - Ex Lge	$3,350.00

titanium plasma spray with HA, polished insert surface for

mobile insert but fixed insert can also be used

CR102	Score Knee System Tibial Baseplate 	Tibial baseplate, CoCr, uncemented, stippled surface, 	7 Sizes	$4,850.00

titanium plasma spray with HA

Prostheses List by Category, Groups and Sponsor	Page 656 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN368	'Mobile Bearing Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded, CoCr, polished 	Left & Right Size 1-8	$4,850.00

insert surface, for mobile insert,

Knee - Tibial Tray Component: Uni-Compartmental Knee Arthroplasty

Group 4a - Cemented, all polyethylene

Advanced Surgical Technologies

AD206	Advance-Unicondylar Knee System	Uni all poly tibial insert	Sizes 1, 2, 3, 4 in 7mm, 8mm, 9mm, 10mm	$1,250.00

Biomet Australia Pty Ltd

BI202	Repicci II Unicondylar Knee System Uni Tibial 	Uni tibial Component, all poly  Cemented, UHMWPE	32-42mm	$1,250.00

component

Corin Australia Pty Ltd

CR091	Uniglide Uni Knee System Uni Tibial Component 	All poly uni tibial component, cemented 	Sizes 3, 5 & 7, thicknesses 7mm to 13mm	$1,250.00

Exactech Australia

EX045	Optetrak Uni Condylar Knee System Tibial Component  	Uni Tibial, all poly, Cemented	1-6	$1,250.00	$1,500.00

Global Orthopaedic Technology

GO031	Global re-surfacing uni-compartmental knee tibial 	All poly, uni compartment, tibial component, UHMWPE	0-5 6.5mm - 9.5mm regular	$1,250.00	$1,352.00

component

Johnson & Johnson Medical Pty Ltd

DY114	Preservation Knee System uni tibial baseplate	Uni all poly, cemented, tibial baseplate, UHMWPE	Sizes 1 - 5.  7-13.5mm	$1,250.00

JJ778	Sigma HP Unicompartmental Knee - All poly tibial 	Unicompartmental all poly tibial component UHMWPE 	Size 1-6, 8-12mm LM/RL & RM/LL	$1,250.00

component	cemented

Medacta Australia Pty Ltd

MU070	GMK Unicompartmental Full - PE Tibia Component	cemented unicompartmental all polyethylene fixed 	1 to 5, left and right, 8/9/10/11/12/14mm  	$1,250.00

component	thicknesses

Orthotech Pty Ltd

OH231	Optetrak Uni Condylar Knee System Tibial Component  	Uni Tibial, all poly, Cemented	1-6	$1,250.00	$1,500.00

Prostheses List by Category, Groups and Sponsor	Page 657 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM048	UC (Unicompartment) PLUS Solution Knee System Uni 	Uni Tibial Baseplate, all poly, cemented UHMWPE, 	40 (8mm, 10mm, 12mm, 14mm), 44 (8mm, 	$1,250.00

Tibial Baseplate	10mm, 12,, 14mm), 48 (8mm, 10mm, 12mm,

14mm), 52 (8mm, 10mm, 12mm, 14mm), 56

(8mm, 10mm, 12mm, 14mm)

SN337	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, all poly, cemented	Left & Right, X Small- Magnum Plus,  8mm-	$1,250.00

15mm

Stryker Australia Pty Ltd

SR053	Freedom PKR / Active Unicompartmental Knee System 	Uni tibial baseplate, cemented, all UHMWPE	Sizes A to J	$1,250.00	$1,430.00

Tibial Baseplate

ST054	EIUS Unicompartmental Knee System Tibial Baseplate 	Uni tibial baseplate, cemented, all UHMWPE, (N2VAC)	XS, S, M, L, XL	$1,250.00

Tornier Pty Ltd

TO016	HLS Evolution Uni Tibial insert  	Uni Tibial Insert All Polyethylene, Cemented	1 - 6 UHMWPE	$1,250.00

Zimmer Pty Ltd

ZI108	Miller Galante  Unicompartmental tibial baseplate 	All Poly Uni Tibial Baseplate, UHMWPE	1 to 6	$1,250.00	$1,445.00

ZI402	Allegretto Unicompartmental Knee Tibial Component	All poly uni tibial component, cemented, UHMWPE	9/38 to 15/48mm	$1,250.00	$1,445.00

Group 4b - Cemented, Alloy

Biomet Australia Pty Ltd

BI204	Repicci II Unicondylar Knee System Uni Tibial baseplate	Uni Tibial baseplate,  Cemented, Titanium, for fixed insert 	Std, Large, Xlarge	$1,550.00

Johnson & Johnson Medical Pty Ltd

DY118	Preservation Knee System uni tibial baseplate	Uni tibial baseplate, cemented, CoCr, for fixed insert	Size 1-5	$1,550.00

JJ780	Sigma HP Unicompartmental Knee - Fixed bearing tibial 	Unicompartmental tibial base plate, cemented, CoCr for 	Size 1-6, LM/RL & RM/LL	$1,550.00

tray	fixed bearing insert

Mathys Orthopaedics Pty Ltd

MA452	BalanSys UNI tibial baseplate 	Uni tibial baseplate for fixed bearing insert, cemented, CoCr	1,2,3,4,5	$1,550.00

Prostheses List by Category, Groups and Sponsor	Page 658 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medacta Australia Pty Ltd

MU065	GMK Unicompartmental fixed tibial baseplate	cemented unicompartmental fixed tibial component with peg	1 to 5, left and right	$1,550.00

and fixation keel

Smith & Nephew Surgical Pty Ltd

SM120	UC (Unicompartment) PLUS Solution Knee System Uni 	Uni Tibial Baseplate, CoCr, cemented for fixed insert	Tibial - 40 - 56 x (8, 10, 12, 14mm)	$1,550.00

Tibial Baseplate

SN336	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, cemented, CoCr for fixed insert	XSmall-Magnum	$1,550.00

SN836	Journey Knee System Tibial Uni Baseplate	Uni Tibial Baseplate,Titanium, cemented, for fixed insert	1-8	$1,550.00

Stryker Australia Pty Ltd

SK497	Triathlon PKR - Cemented Tibial component	Uni tibial baseplate, cemented, CoCR	Size 1 to 6	$1,550.00

Tornier Pty Ltd

TO017	HLS Evolution Uni Tibial insert  	Uni Tibial Insert, Cemented, alloy, modular, CoCr	1 - 6 UHMWPE, CoCr	$1,550.00

Zimmer Pty Ltd

ZI107	Miller Galante  Unicompartmental tibial baseplate 	Uni 'Tibial baseplate, cemented, Titanium 	1 to 6	$1,550.00	$1,670.00

Group 4d - Cemented, Alloy, moulded polyethylene

Biomet Australia Pty Ltd

BI871	Vanguard unicondylar Knee System	Tibial Component, CoCr UHMWPE	(A-E) x (5-8)	$2,000.00

Link Orthopaedics  Australia

LO060	LINK Endo-Model SLED Uni Tibial Tray 	Uni tibial tray including UHMWPE insert, cemented, CoCr 	7mm-13mm in 45, 50, 55 diameter	$2,000.00

tray

Zimmer Pty Ltd

ZI403	Allegretto Unicompartmental Knee	Tibial Baseplate Monoblock - Ti alloy / PE	7.5/38 to 15/48mm	$2,000.00	$2,075.00

Group 4f - Cemented, Alloy, for mobile insert

Biomet Australia Pty Ltd

BI033	Oxford Meniscal Knee System Uni Tibial Baseplate 	Uni Tibial Baseplate, cemented, polished insert surface, for 	(38-53mm) x sizes 26-34	$1,750.00

mobile insert (Phase III)

Prostheses List by Category, Groups and Sponsor	Page 659 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY117	Preservation Knee System uni tibial baseplate	Uni tibial baseplate, cemented, CoCr, for mobile insert	Size 1-5	$1,750.00

Mathys Orthopaedics Pty Ltd

MA453	BalanSys UNI tibial baseplate 	Uni Tibial component for mobile insert, cemented, CoCr	1,2,3,4,5	$1,750.00

MA477	BalanSys UNI tibial baseplate 	Uni Tibial baseplate for mobile insert, cemented, CoCr with	1, 2, 3, 4, 5	$1,750.00	$2,000.00

convex surface

Zimmer Pty Ltd

ZI502	Natural Knee	Primary Tibial Baseplate - Mobile Bearing Non Porous - 	Size 00 to 5	$1,750.00	$1,980.00

CoCr alloy

Cs

Corin Australia Pty Ltd

CR061	Uniglide Uni Knee System Uni Tibial Component 	Uni tibial component, CoCr, with TiNi insert surface 	Sizes 1 - 8 inclusive	$1,750.00

coating for mobile insert

Group 4i - Uncemented, Alloy, HA coating

Smith & Nephew Surgical Pty Ltd

SN335	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, uncemented, CoCr, beaded, HA for 	Left & Right, X Small- Magnum Plus	$1,800.00

fixed insert

Stryker Australia Pty Ltd

SK329	UNIX Unicompartmental Knee System Tibial Baseplate	Uni tibial baseplate, uncemented with Hydroxyapatite, 	Sizes 1 to 4	$1,800.00

CoCr

Group 4l - Uncemented, Alloy, for mobile insert

Zimmer Pty Ltd

ZI430	Natural Knee	Unicompartmental -Tibia Baseplate - Ti alloy	Por 1 to Por 6	$1,800.00

Group 4m - Uncemented, Alloy, for mobile insert, HA coating

Biomet Australia Pty Ltd

BI860	Oxford Meniscal Knee System Uni Tibial Baseplate 	Uni Tibial Baseplate, uncemented Titanium plasma sprayed 	(38-53) x (26-34)mm	$2,000.00	$2,708.00

surface (Porous plasma spray PPS) with HA (Phase III)

Prostheses List by Category, Groups and Sponsor	Page 660 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Cs

Corin Australia Pty Ltd

CR057	Uniglide Uni Knee System Uni Tibial Component 	Uni tibial component, CoCr, uncemented, Titanium plasma 	1-8	$2,000.00

spray, with calcium phosphate  (HA) ingrowth surface with

TiNi insert surface coating for mobile insert

Knee - Tumour Prostheses

Group 10 - Tumour Prostheses

Advanced Surgical Technologies

AD241	Limb Salvage System for the skeletally immature - 	Repiphysis non invasive expandable custom designed 	Custom Made	$67,600.00

Repiphysis	prosthesis for proximal tibia, distal or total femur (all

components delivered as one unit)

AD244	Guardian Limb Salvage System	Special indication distal femur 	Left & Right	$4,841.00

AD245	Guardian Limb Salvage System	Tibial Hinge Assembly with polyethylene bearing, with/ 	One Size only	$4,046.00

without rotational stop pin - CoCR

AD248	Guardian Limb Salvage System	Stemmed tibial tray	1 - 5	$4,982.00

AD249	Guardian Limb Salvage System	Duramer specialised Tibial insert, UHMWPE	8, 10, 12, 16, 20mm	$2,475.00

AD251	Guardian Limb Slavage System	Guardian  Femoral Stem Straight/Tapered - Titanium	11, 13, 15, 17mm x 152mm	$2,735.00

AD252	Guardian Limb Salvage System	Proximal Tibial replacement 	One Size Only	$7,176.00

AD254	Guardian Limb Salvage System	Guardian femoral Stem Straight With Plasma Collar - 	9, 11, 13 x 120mm	$3,630.00

Titanium

AD255	Guardian Limb Salvage System	Guardian beaded extended collar Femoral Stem 	11, 13, 15, 17mm x 152mm	$3,702.00

Straight/Tapered - Titanium

AD256	Guardian Limb Salvage System	Guardian Femoral Stem Straight - without plasma collar 	9, 11, 13 x 120mm	$2,694.00

Titanium

AD339	Guardian Limb Salvage System	Guardian mid section male/female taper	40, 50, 60, 70, 90, 110, 140mm	$2,959.00

Biomet Australia Pty Ltd

BI864	Orthopaedic Salvage System	Stem, Cemented or Porous, Ti	(9-19)mm diameter x  (90-300)mm length	$3,037.00

Prostheses List by Category, Groups and Sponsor	Page 661 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI865	Orthopaedic Salvage System	Femoral Component, Resurfacing or Segmental, CoCr,Ti	30 - 70mm	$8,211.00

BI866	Orthopaedic Salvage System	Femoral or Tibial Augment, Ti	'Femoral Sleeve - One Size; OR Femoral 	$2,137.00

Flange - One Size; OR Tibial Block Augment

10-20mm;  OR Tibial Augment Sleeve -

Small/Large

BI867	Orthopaedic Salvage System	Femoral/Tibial Interlocking devices:Locking Pin, Femoral 	One size only except for Locking Screw - 	$5,408.00

and Tibial Bushings, Tibial Bearing, Axle, Reinforced Yoke,	Small or Large; Tibial Bearing - 12-22mm

Locking Screws. CoCr, Ti

BI868	Orthopaedic Salvage System	Diaphyseal Segment or Diaphyseal Coupler, Stacking 	Diaphyseal Segment 3-23cm, Diaphyseal 	$4,410.00

Adapter and Locking Screws, Ti	coupler 10-30cm

BI869	Orthopaedic Salvage System	Tibial Component, Resurfacing or Segmental, Modular and 	63-83mm	$8,102.00

non Modular, CoCr, Ti

BI893	Rotating Hinge Knee (RHK)  	Bearing and hinge locking components	Bearing Insert - 12 - 20mm thickness 	$4,841.00	$5,190.00

BI963	Compress Compliant Prestress System	Anchor Assembly: Plug, Transverse pin, spindle, nut, cap.	10-24mm femoral canal diameter,	$10,360.00

BI964	Compress Compliant Prestress System	Medularry Centering Sleeve	13-25mm	$1,400.00

BI965	Compress Compliant Prestress System	Femoral Adapter	OSS or Finn Adapter	$1,800.00

Corin Australia Pty Ltd

CR130	METS Femoral Knee	CoCR-Molybdenum femoral component include axle, 	Small, Standard	$7,653.00	$10,725.00

bushes and circlip

CR131	METS Tibial Rotating Hinge Polyethylene	A CoCr-Molybdenum tibial component with UHMWPE 	stem lengths 105mm and 114mm	$3,950.00	$8,505.00

Tibial bearing

CR132	METS Tibial Rotating Hinge Metal Casing	UHMWPE tibial bearing with a CoCr-Mo tibial component	Stem lengths 140mm and 180mm	$10,899.00

and Ti casing

CR133	METS Tibial Fixed Hinge	CoCr-Molybdenum	Stem lengths 140mm and 180mm	$7,751.00

CR134	METS Tibial Plateau Plate	CoCr	Small and standard in 4 thicknesses	$1,436.00

CR137	METS Proximal Tibia Fixed Hinge	CoCr-Molybdenum proximal tibial component including 	Small and standard	$9,521.00

bumper

CR138	METS Proximal Tibia Fixed Hinge Coated	CoCr-Molybdenum with HA coated patella tendon 	Small and standard	$9,521.00	$12,419.00

reattachment mechanism and bumper

CR140	METS Stippled Collar	Titanium, HA coated, round or oval	4 sizes round, 4 sizes oval	$1,336.00	$4,598.00

Prostheses List by Category, Groups and Sponsor	Page 662 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CR141	METS Smooth Collar	Titanium, uncoated, round or oval	4 sizes round, 4 sizes oval	$936.00	$2,102.00

CR142	METS Stem	Titanium, curved and straight	6 diameters, 10-15mm	$2,286.00

CR144	METS Proximal Tibia Rotating Hinge Coated	Titanium with UHMWPE bearing and HA coated patella 	Small and standard	$9,106.00	$10,840.00

tendon reattachment mechanism

CR145	METS Tibial Stem	Titanium	5 diameters 9-13mm	$2,393.00

CR146	METS Tibial Collar Coated	Titanium collar with HA coating	5 diameters 20-32mm	$936.00	$4,692.00

CR148	METS Integral Shaft & Stem	Titanium shaft and stem with HA coated collar	Shaft Length 30-70mm, stem length 120mm	$4,728.00

CR149	METS Integral Shaft & Stem Coated	HA coated titanium collar, shaft and stem	Shaft Length 15-55mm, stem length 120mm	$7,333.00

CR150	METS Tibial Shaft	Titanium shaft	45-115mm	$3,843.00

CR151	METS Proximal Tibia Rotating Hinge	Titanium with UHMWPE bearing	Small and standard	$9,106.00

CR152	METS Tibial Component Rotating Hinge		Small and standard	$7,176.00

CoCr-Molybdenum with UHMWPE bumper pad

CR153	METS Femoral Plateau Plate	Titanium	Small & Standard, 4 thicknesses	$2,357.00

ESKA Australia

EK017	ESKA Tumor Revision System MML	Total femoral implant	various sizes	$11,440.00

EK018	ESKA Tumor Revision System MML	Distal femoral implant	various sizes	$11,440.00

Link Orthopaedics  Australia

LO038	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee Joint 	Small, medium & large	$12,289.00

without Anti Lux Device, without Patella Flange

LO039	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee Joint 	Small, medium & large	$13,241.00

without Anti Lux Device, with Patella Flange

LO040	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee Joint 	Small, medium & large	$13,541.00

with Anti Lux Device, without Patella Flange but includes

UHMWPE full moulded proximal tibial blocks

LO041	LINK Endo Model Rotational Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	$17,001.00

components are hinged and also includes a non weight

bearing UHMWPE insert with locking screw

Prostheses List by Category, Groups and Sponsor	Page 663 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO043	LINK Endo Model Rotational Knee System tibial spacers	Full tibial blocks made of UHMWPE 	Small, Medium, Large	$526.00

LO044	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	$17,001.00

components are hinged with locking axis and also includes a

non weight bearing UHMWPE insert with patella flange

LO045	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee Joint 	Small, medium & large	$13,752.00

with Anti Lux Device, with Patella Flange but includes

UHMWPE full moulded distal femur and proximal tibial

blocks

LO046	LINK Endo Model Rotational Knee System (with 	Entire prosthesis in single pack Total Rotational Knee Joint 	Extra small, small, medium & large	$20,785.00

femoral and tibial buildups)	with Anti Lux Device, with Patella Flange and includes

extensive polyethylene distal/ femoral and proximal tibial

moulded spacers

LO047	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	$10,415.00

components are hinged with locking axis and also includes a

non weight bearing UHMWPE insert

LO048	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	$11,303.00

components are hinged with locking axis and also includes a

non weight bearing UHMWPE insert without patella flange

Smith & Nephew Surgical Pty Ltd

SN694	Knee Component	Femoral, tiabial or insert	Size 0 - 10	$6,396.00

Stryker Australia Pty Ltd

HW144	KRH (Kinematic Rotating Hinge) Tibial Insert	KRH Rotating Hinge Tibial insert UHMWPE (Duration), 	Small and Medium 11mm/15mm by 	$2,933.00

Fixed	110mm/180mm

HW145	GMRS (Global Modular Replacement System) MRH 	GMRS, MRH, KRH Rotating Hinge Femoral Bushings & 	Small & standard	$728.00

(Modular Rotating Hinge) Kinematic Rotating Hinge 	Bumpers UHMWPE, (Duration)

(KRH) Femoral Bushings & Bumpers

HW196	HMRS (Howmedica Modular Replacement System) 	HMRS Tibial Joint (baseplate) - uncemented, CoCr 	One size only	$5,553.00

Tibial Joint (Baseplate)	(Vitallium), porous coated, w/medial & lateral flanges

moulde agaibnst tibia w/bar bolt fixation, and metal

cHydroxyapatitember for axis of hinge

Prostheses List by Category, Groups and Sponsor	Page 664 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW197	HMRS (Howmedica Modular Replacement System) 	HMRS Proximal Tibia, uncemented, CoCr (Vitallium), 	120mm, 140mm, 160mm	$6,346.00

Proximal Tibial Component	porous coated, and metal cHydroxyapatitember for axis of

hinge, connects to anchorage piece for bone attachement,

Fixed

HW204	HMRS Extension Piece	Extension Piece, Uncemented CoCr, connects to 	60mm, 80mm, 100mm	$3,871.00

anchorage piece (optional)

HW205	HMRS (Howmedica Modular Replacement System) 	HMRS Straight Anchorage Piece (Stem) w/ small 	11, 12, 13, 14, 15mm	$4,451.00

Straight Anchorage Piece	diaphyseal replacement, uncemented, porous coated, CoCr

(Vitallium), porous coated with lateral flange w/ 3 holes for

fixation

HW206	HMRS (Howmedica Modular Replacement System) 	HMRS Curved Anchorage Piece w/diaphyseal 	12, 13, 14, 15, 16, 17, 19mm	$4,451.00

(Howmedica Modular Replacement System) Curved 	replacement, uncemented, CoCr (Vitallium), porous coated

Anchorage Piece 	 with lateral flange w/ 3 holes for fixation

HW207	HMRS (Howmedica Modular Replacement System) 	HMRS Connecting Piece, uncemented, CoCr (Vitallium) 2 	One size only	$6,768.00

Connecting Piece 	parts, bolted together with 2 screws, connecting Distal &

Proximal Femur +/- extension piece for total femur

replacement.

HW209	HMRS (Howmedica Modular Replacement System) 	HMRS Screw Jack UHMWPE (Duration) - use with Self 	One size only	$275.00

Screw Jack	Tapping Hex Head Cortical Bone Screws for Proximal

Femur and Tibia soft tissue fixation

HW227	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Distal Femur, CoCr (Vitallium) 	120, 140, 160mm	$8,433.00

Rotating Hinge Distal Femur Component	uncemented, porous coated, Fixed

HW228	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Axle - uncemented, CoCr (Vitallium)	One size only	$820.00

Rotating Hinge Axle

HW229	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Femoral Bushing - UHMWPE, 	One size only	$407.00

Rotating Hinge Femoral Bushing	(Duration)

HW230	HMRS (Howmedica Modular Replacement System) & 	HMRS & MRH Rotating Hinge Bumper - (Duration) 	HMRS: 0°, 3°, 5°       MRH: 0°, 3°	$777.00

MRH (Modular Rotating Hinge) Rotating Hinge Bumper	UHMWPE

HW234	HMRS (Howmedica Modular Replacement System) 	HMRS stemmed tibial baseplate, CoCr (Vitallium), 	One size only	$8,772.00

Stemmed Tibial Baseplate	uncemented, porous coated, w/large connecting stem

attached for diaphyseal fixation, Fixed

Prostheses List by Category, Groups and Sponsor	Page 665 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW246	MRS (Modular Replacement System) Femoral Body	MRS Femoral Body uncemented, male/female connections,	Standard Diametre 40-220mm in 20mm 	$3,689.00

Titanium 	increments and small diameter 40-160mm in

20mm increments

HW250	MRS (Modular Replacement System) Tibial Stem 	MRS Tibial Stem - cemented, CoCr (Vitallium), Fixed	127mm in 9, 11, 13mm diameter	$3,757.00

HW251	MRS (Modular Replacement System) Tibial Insert 	Tibial insert UHMWPE (Duration) for MRS Metal 	Small and Medium in 11, 13, 16, 21mm	$1,648.00

Encapsulated Rotating Hinge Tibial component, Fixed

SK156	GMRS (Global Modular Replacement System) Proximal 	GMRS Proximal Tibial component, CoCr, uncemented, 	Small, Standard	$8,034.00

Tibial Component	porous coated, 7 x tendon/suture holes for soft tissue re-

attachment, Fixed

SK157	GMRS (Global Modular Replacement System) Distal 	GMRS Distal Femoral component, CoCr, uncemented, 	Small Left 65mm, Small Left 75mm, Small 	$8,008.00

Femoral Component	Fixed	Left 85mm, Small Left 95mm, Small Right

65mm, Small Right 75mm, Small Right 85mm,

Small Right 95mm, Standard Left, Standard

Right

SK159	HMRS (Howmedica Modular Replacement System) Plus	HMRS Plus Curved Anchorage Piece with GMRS locking 	12, 13, 14, 15, 16, 17, 19mm	$5,034.00

Curved Anchorage Stem	taper for crossover w/ GMRS system. Offers small

diaphyseal replacement, uncemented, CoCr (Vitallium),

porous coated with lateral flange w/ 3 holes for fixation,

Fixed

SK160	HMRS (Howmedica Modular Replacement System) Plus	HMRS Plus Straight Anchorage Piece with GMRS locking 	11, 12, 13, 14, 15mm	$4,841.00

Straight Anchorage Stem	taper for crossover w/ GMRS system. Offers small

diaphyseal replacement, uncemented, CoCr (Vitallium),

porous coated with lateral flange w/ 3 holes for fixation

SK161	GMRS (Global Modular Replacement System) Extension	GMRS Extension Piece, uncemented Titanium, connects to 	30, 40, 50, 60, 70, 80, 100, 120, 140, 160, 	$4,576.00

Piece	anchorage piece (optional) for increases diaphyseal 	180, 200, 220mm

replacement

SK162	GMRS (Global Modular Replacement System) 	GMRS Connection Piece, uncemented Titanium, to replace	Left 80, 90mm; Right 80, 90mm	$4,498.00

Connection Piece 	 varying lengths of diaphyseal bone loss

SK166	GMRS (Global Modular Replacement System) Long 	GMRS Long Bowed Stem,Titanium, with Ti plasma 	200mm stem length in 11, 12, 13, 14, 15, 16, 	$5,034.00

Bowed Stem	coating, uncemented, proximal 3cm Hydroxyapatite coated 	17, 18, 19mm

(Purefix)

Prostheses List by Category, Groups and Sponsor	Page 666 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK167	GMRS (Global Modular Replacement System) Short 	GMRS Short Bowed Stem,Titanium, with Ti plasma 	150mm in: 11, 12, 13, 14, 15, 16, 17, 18, 	$4,429.00

Bowed Pressfit Stem	coating, uncemented, proximal 3cm Hydroxyapatite coated 	19mm

(Purefix)

SK168	GMRS (Global Modular Replacement System) Straight 	GMRS Straight Fluted Stem,Titanium, with Ti plasma 	125mm length in 8, 9, 10, 11, 12, 13, 14, 15, 	$4,498.00

Fluted Stem	coating, uncemented, proximal 3cm Hydroxyapatite coated 	16, 17, 18, 19mm

(Purefix)

SK330	MRS (Modular Replacement System) Femoral Stems	MRS Femoral stems with female taper, Titanium, 	11 x 127mm,    13 x 127mm,    15 x 127mm, 	$6,760.00

uncemented, 	   17 x 127mm

SK331	MRH (Modular Rotating Hinge) Rotating Hinge 	MRH Assembly pack consists of: Tibial sleeve, Bumper 	1 Tibial Sleeve, 1  Bumper Insert, 2 Femoral 	$3,172.00

Assembly Pack	insert & Femoral Bushing components UHMWPE 	Bushing Components

(Duration)

Zimmer Pty Ltd

ZI560	Nexgen complete knee solution	Rotating hinge knee cement shield servicing kit	B, C, D, E & F	$3,100.00

ZI566	Zimmer segmental system - articulating surfaces	Segmental articulating surface	B, C, D, E & F - 12, 14, 17, 20, 23 & 26mm	$1,565.00	$2,300.00

ZI570	Zimmer segmental system - distal femoral component	Distal femoral component	B & C, left and right	$8,008.00

ZI571	Zimmer segmental system - segmental poly insert	Segmental poly insert	B & C	$360.00

ZI572	Zimmer segmental system - smooth stem collar	Segmental smooth stem collar	12-16mm & 17-19mm	$4,400.00

ZI573	Zimmer segmental system - hinge servicing kit	Segmental femoral hinge servicing kit	B & C	$3,100.00

ZI574	Zimmer segmental system - cemented stem	Segmental cemented stem	12-19mm x 130mm; 190mm, 250mm	$4,900.00

ZI576	Zimmer segmental system - segments - femoral/ tibial	fem/tib segment male-female	Male/female x 30, 40, 60, 80, 100, 120, 140,	$4,400.00

160, 180,200, 220mm. Male/Male x 80, 90,

200mm.

ZI583	Zimmer segmental system - TM stem collar	Segmental TM stem collar	12-16mm, 25mm: 12-16mm, 30mm: 12-	$4,498.00	$4,800.00

16mm, 35mm; 17-19mm, 30mm; 17-19mm,

35mm

t

Corin Australia Pty Ltd

CR136	METS Femoral Knee with Stem	CoCR-Molybdenum with titanium stem, including axle, 	Small and standard	$8,984.00

circlip & bushes

Prostheses List by Category, Groups and Sponsor	Page 667 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 10z: Others

Stryker Australia Pty Ltd

HW188	Howmedica Modular Resection System	Growing Prosthesis -  Vitallium	Expandable prostheses -  Custom made to 	$26,429.00

child

Nails, Bone

Lima Orthopaedics Australia Pty Ltd

LC047	Lima Humeral Nail	Stainless steel	Dia 7 - 8mm, length 200 - 300mm	$1,990.00

Orthopedic External Fixation Systems, Fracture

Biomet Australia Pty Ltd

BI768	Mandibular Fracture System	Screw, IMF 2./2.4 Mandibular Fracture, Titanium	2.0 x(5 - 13)mm	$47.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Orthopedic External Fixation Systems, Other

Biomet Australia Pty Ltd

BI855	EBI XFIX Dynafix System	Wrench	Ex Small, Small, Adult, 3-6mm	$200.00	Temporary approval pending review of product

group in Feb 09 cycle.

Orthopedic Internal Fixation Systems, Other

Surgiplas Medical

SP045	Logic Distraction System	Distractor, spacers & activation set	Straight, Curved 18-52mm	$3,150.00

Prostheses List by Category, Groups and Sponsor	Page 668 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthopedic Internal Fixation Systems, Spinal

Lifehealthcare Pty Ltd

LH315	Delivery Track	Composition: Peek	8 x 20/25/30mm	$824.00

Pins, Bone

Link Orthopaedics  Australia

LO100	LINK Arthrodesis Pin	Cobalt Chromium	90mm	$6,300.00

LO101	LINK Arthrodesis Pin	Tilastan	90mm	$7,300.00

Plates

Biomet Australia Pty Ltd

BI930	Sternalock	Plates - xyphoid, "L" & square	4 hole	$195.00

BI931	Sternalock	Plates - "X" & "T"	5-8 hole	$300.00

Plates, Bone

Synthes Australia Pty Ltd

SY052	AO/ASIF Plates	Distal radius plate - volar plates - left & right	2.4mm	$963.00

Prostheses, Joint, Knee

Smith & Nephew Surgical Pty Ltd

SN342	Genesis	Custom Flex Lock Peg	Left & right	$150.00

Prostheses List by Category, Groups and Sponsor	Page 669 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prostheses, Joint, Knee, Total

Smith & Nephew Surgical Pty Ltd

SN318	Genesis II 	Lug	One size only	$204.00

SN319	Genesis II 	Metaphyseal Stem	1-8	$644.00

SN329	Genesis II 	Tibial screws 	15-50mm	$135.00

Prostheses, Joint, Shoulder

Lima Orthopaedics Australia Pty Ltd

LC048	Randelli/SMR Total Shoulder	Randelli/SMR shoulder revision cemented stem	200, 240, 280mm	$3,000.00

Prostheses, Joint, Wrist

Johnson & Johnson Medical Pty Ltd

DP127	Biax Wrist	Biax Wrist STD and Long	Small - Large	$3,570.00

Prostheses, Leg

Stryker Australia Pty Ltd

HW220	Howmedica Modular Resection System	Humerus Hex Socket Bolt -  Vitallium	One size only	$565.00

Prostheses, Radial Head

Lifehealthcare Pty Ltd

LH402	Radial Head Implants	Radial Head	2,3,4,4N	$1,050.00

LH403	Radial Head Implants	Radial Stem	2,3,4,4N	$1,050.00

Prostheses List by Category, Groups and Sponsor	Page 670 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prostheses, Radial/Ulna Head

Lifehealthcare Pty Ltd

LH400	Ulnar Head Implants	UlnarHead CoCr	1,2,3,4	$1,120.00

LH401	Ulnar Head Implants	Ulnar Stem CoCr	1,2,3,4	$1,120.00

Orthopaedic Solutions Pty Ltd

OE011	BioProfile Modular Pyrocarbon Ulna Head	A modular titanium Pyrocarbon Ulnar  head prosthesis 	Small, medium, large	$4,566.00

which includes a Pyrocarbon head and titanium stem.

Prostheses, Tibial

Lifehealthcare Pty Ltd

LH438	LINK STAR Ankle Prosthesis	RevisionTibial Component, Cemented	Extra small - Extra large	$2,204.00

Prosthesis

Advanced Surgical Technologies

AD242	Limb Salvage System for the Skeletally Immature - 	Repiphysis non invasive expandable custom designed 	Custom Made	$67,600.00

Repiphysis	prosthesis for the upper limb (all components delivered as

one unit)

Prosthesis, internal, joint, digit

LMT Surgical Pty Ltd

LM076	Ascension Pyrosphere	Pyrocarbon Implant	10-50	$1,700.00	$2,150.00

LM083	Memometal Ivory Trapezo - metacarpal cement less 	A cement less Trapezo- Metacarpal prosthesis.	Cup sizes 9-11 mm, Head Short medium and 	$2,000.00

prosthesis	long, Stem size 1,2,3,4.

Prostheses List by Category, Groups and Sponsor	Page 671 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prosthesis, internal, joint, shoulder, glenoid component

Johnson & Johnson Medical Pty Ltd

JJ637	Global Advantage Shoulder – Cross Linked Anchor Peg 	Cross Linked Polyethylene Glenoid Implant	40 to 56 mm	$2,770.00	$3,000.00

Glenoid

Prosthesis, internal, joint, shoulder, humeral component

Mathys Orthopaedics Pty Ltd

MA479	Affinis Fracture - Stem	Affinis Fracture Stem	6/125, 9/125, 12/125, 12/125, 9/200, 12/200	$2,575.00	$3,200.00

MA480	Affinis Fracture - Head	Affinis Fracture Head	42, 45, 48	$1,525.00	$2,200.00

MA481	Affinis Fracture - Central Part	Affinis Fracture - Central Part	Part 1 - diam 15.5, Part 2 - diam 18	$1,550.00	$2,350.00

Tornier Pty Ltd

TO030	Aequalis Humeral Plate	Proximal Humeral Plate	90mm length with 3-holes shaft and 120mm 	$1,400.00

length with 5-hole shaft

TO031	Aequalis Resurfacing Shoulder	Resurfacing humeral head	12 head sizes from 37mm x 13.5mm to 54mm	$3,400.00

x 27mm, 3 stem lengths: 30, 35 and 40mm

TO032	Aequalis Humeral Plate Screws	Proximal humeral plate screws (Cancellous self-tapping 	Proximal locking screws: 4mm, cortical self 	$140.00

locking screws, Cortical self-tapping locking screws or 	tapping locking screws: 20 to 60mm length;

Cortical Self-tapping compression screws)	proxmial inferior locking screws: 3.5mm,

cortical self tapping locking screws: 10 to

40mm length; distal compression screws:

3.5mm, cortical self-tapping compression and

locking screws: 10 to 50mm length

Prostheses List by Category, Groups and Sponsor	Page 672 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prosthesis, internal, joint, wrist, radial/ulnar component

Lifehealthcare Pty Ltd

LH371	Stability Sigmoid Notch Total DRUJ system / Stability 	The Stability Sigmoid Notch Radial Stem is made from 	Small & Large	$3,275.00

Sigmoid Notch Radial Stem	implantable Cobalt chromium (ASTM 1537-94) with a

CPTi plasma spray on the back for bone ongrowth.  It has

a fixation post about 18mm  in length and has a single hole

in its base to accept a single cancellous bone screw.  The

front of the stem is highly polished and has raised edges to

accept a UHMPE radial insert.

LH372	Stability Sigmoid Notch Total DRUJ System / Stability 	The Stability Sigmoid Notch Radial Insert is made of 	The Stability Sigmoid Notch radial Insert has 	$450.00

Sigmoid Notch Radial Insert	UHMW Polyethylene.  It is formed to fit onto the Stability 	two sizes, small and large and each size has

Sigmoid Notch Radial Plate and slides onto the plate and 	just one thickness

secures firmly via a peripheral lock and a ramp lock snap

fit.  It has a concave surface and a smooth back.

Prosthesis, internal, ligament, anchor

Arthrocare Australasia Pty Ltd

AF001	TwinLock Knotless Twin Anchors with Suture and 	All in one Dual/Twin implant anchors for tendon to bone 	1.8mm x 14mm with a 6.1mm cortical wing 	$920.00	$940.00

Suture passer	healing with integrated suture and suture passer.	span.

Smith & Nephew Surgical Pty Ltd

SN853	Endobutton	Fixation for ACL/PCL reconstruction	5-9mm, 15-60mm	$369.00

Prostheses List by Category, Groups and Sponsor	Page 673 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prosthesis, Internal, Radial Head

Orthopaedic Solutions Pty Ltd

OE012	BioProfile Modular Pyrocarbon Radial Head	A modular titanium Pyrocarbon Radial  head prosthesis 	Small, medium, large and X-large	$5,261.00

which includes a Pyrocarbon head and titanium stem, neck,

head and expansion screw

Spacer, internal, tendon

Lifehealthcare Pty Ltd

LH390	Artelon	Co-polymer biomaterial built on well known chemical 	Standard & Large	$1,800.00

components (PUUR) - Polycaprolactone & Urethrane

Urea

Staples, Bone

Orthotech Pty Ltd

OH334	EOS Footset - Varisation staple	Foot staple	8-10mm	$307.00	$390.00

OH335	EOS Footset - Entos	Footscrew	11-14mm	$425.00	$450.00

OH336	EOS Footset-Pyxis	Footscrew	11-28mm	$210.00	$450.00

OH337	EOS Footset-Antares	Footscrew	12-34mm	$210.00	$480.00

OH345	Pareous staple	Foot staple	1.5mm 6-14 and 2.5mm 14-30	$307.00	$350.00

OH346	Eleos staple	Foot staple	4-34/38mm	$695.00

Surgical procedure kit, arthroscopic, single-use, non-medicated

Smith & Nephew Surgical Pty Ltd

SN854	Fast-Fix Ultra	Meniscal suture anchor	One Size	$400.00

Prostheses List by Category, Groups and Sponsor	Page 674 of 869

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Washers, Bone Screw

LMT Surgical Pty Ltd

LM081	Surgicraft Washers	Titanium or stainless steel washers	4.2mm/7-9mm outer diamter/1.1.5mm thick.	$103.00

Prostheses List by Category, Groups and Sponsor	Page 675 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.1 Mesh for Bone fixation

7.1.1.1.2 Mesh for Bone fixation, CMF, <0.2mm thick, 1 to 10cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO291	Titan Mesh	Mesh Panel, Titanium	Mesh 30x30mm profile 0.1mm	$165.00	$361.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Medtronic Australasia Pty Ltd

MC551	Macropore	Protective Disc	25mm	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC554	Macropore	CraniDisk	23 - 28mm	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC568	Macropore	Bur Hole Cover	25mm	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.1.3 Mesh for Bone fixation, CMF, <0.2mm thick, 11 to 25cm2 area

Mondeal Medical Systems Pty Ltd

MD070	Mondeal Medical Systems Implant & Prostheses	Mesh	Micro 50 x 30mm	$110.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable, Complex-Orbital

Johnson & Johnson Medical Pty Ltd

JJ687	PDS Plates	Absorbable synthetic (poly-p-dioxanone) plate/foil	0.25mm x 30mm x 40mm                               	$515.00

0.5mm x 30mm x 40mm

0.25mm x 40mm x 50mm

0.5mm x 40mm

x 50mm

Prostheses List by Category, Groups and Sponsor	Page 676 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.1.1.4 Mesh for Bone fixation, CMF, <0.2mm thick, 26 to 50cm2 area

Mondeal Medical Systems Pty Ltd

MD072	Mondeal Medical Systems Implant & Prostheses	Mesh	Micro 100 x 30mm, 50 x 60mm	$173.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.1.5 Mesh for Bone fixation, CMF, <0.2mm thick, 51 to 100cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO290	Titan Mesh	Mesh Panel, Titanium	Mesh 80x80mm profile 0.1mm	$380.00	$1,512.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD071	Mondeal Medical Systems Implant & Prostheses	Mesh	Micro 100 x 60mm	$380.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.2.2 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 1 to 10cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO298	Titan Mesh	Mesh Plates Titanium	2 hole strip 1, 1.5, 2mm	$350.00

Complex

Synthes Australia Pty Ltd

SY485	Mesh Plate	Titanium malleable mesh plates	0.2mm-0.4mm, 1-10cm2	$725.00	$1,000.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Orbital

Medical & Optical Instruments Australia Pty Ltd

MO303	Titan Mesh Orbital Floor Plate (Martin)	Titan mesh - contoured orbital floor repair mesh plate	1.5mm 0.3 profile	$644.00

Synthes Australia Pty Ltd

SY481	Oribital Floor Mesh Plate	Titanium orbital floor mesh plates	<0.5mm	$725.00	$1,048.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 677 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Biomet Australia Pty Ltd

BI399	Lactosorb Resorbable Craniomaxillofacial Fixation System	Panel or Sheet, Solid or Holed, PGA/PLA	0.25mm x 25x25mm	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO299	Martin Level One Fixation Resorb x & SonicWeld	Mesh PDLLA (resorbable)	0.20 to 0.49mm thick, 1 to 10 cm2 area	$450.00

7.1.1.2.3 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 11 to 25cm2 area

Australian Surgical Innovations Pty Ltd

AI005	ASI Plates and Screws	Mesh	.	$700.00	$770.00

Biomet Australia Pty Ltd

BH031	W Lorenz Osteosynthesis	Mesh 1.5mm system, precontoured, titanium	40 x 40 x 0.3mm profile	$725.00	$900.00

Johnson & Johnson Medical Pty Ltd

JJ732	Bioplate  - Biomesh 1MC	1MC (0.3mm) thick titanium malleable mesh	36 x 43mm	$700.00

JJ797	BIOPLATE Biomesh	Titanium mesh for cranial fixation system	1.5mm diam, 0.6mm thickness, 36mm x 	$510.00	Only to be funded where used in a service for

52mm	which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC889	TiMesh	Square-rectangular Gridmesh Panel	11 to 25 cm2 area	$700.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST390	Luhr Fixation System 	Luhr Micro and Pan Fixation Systems: Micro mesh  Vitallium	40x60mm	$700.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP080	Plates	Micro, Mini	Mesh 50mm x 37, 36 x 50mm, Mesh 11 to 	$700.00	Only to be funded where used in a service for

25cm2 area	which a Medicare Benefit is payable

SP107	OsteoMed Plating & Fixation System	Plates	40 x 40mm Osteoform Mesh, Mesh 11 to 	$700.00	$1,250.00	Only to be funded where used in a service for

25cm2 area.	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 678 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY479	Mesh Plate	Titanium malleable mesh plates	<0.2mm-0.49mm, 11-25 cm2	$700.00	$960.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Orbital

Medical & Optical Instruments Australia Pty Ltd

MO304	Martin Level One Fixation	Mesh Ttianium	0.20 to 0.49mm thick, 11 to 25 cm2 area	$725.00

Resorbable

Arthrocare Australasia Pty Ltd

AF026	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & tacks	a) 30 x 40mm membrane kit; b) 6 tack kit and	$680.00	Only to be funded where used in a service for

applicator	which a Medicare Benefit is payable

Biomet Australia Pty Ltd

BI400	Lactosorb Resorbable Craniomaxillofacial Fixation System	Cover, Solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 38x38mm	$680.00	$850.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI401	Lactosorb Resorbable Craniomaxillofacial Fixation System	Cover, Solid or Holed, PGA/PLA	0.25mm x 50x50mm	$680.00	$1,300.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.2.4 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 26 to 50cm2 area

Biomet Australia Pty Ltd

BH022	W Lorenz Osteosynthesis System	Panel, Regular or Small Grid. Titanium	(80,85) x (50-53)mm x (0.3 or 0.2mm)	$850.00	$1,315.00

BI604	W Lorenz Osteosynthesis System	Sheet, 1mm System. Titanium	85x50x0.2mm	$700.00	$1,127.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI645	W Lorenz Osteosynthesis System	Mesh panel. 1.5mm System Titanium	83 x 51mm x(0.3 or 0.2mm)	$700.00	$1,127.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ256	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-sterile	0.45mm thickness, 60 x 60mm	$700.00

Prostheses List by Category, Groups and Sponsor	Page 679 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO292	Titan Mesh	Mesh Panel, Titanium	Mesh 51x 51 mm profile 0.3mm	$700.00	$1,564.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC914	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.5mm System. Composition: Titanium	26 to 50 cm2 area; 0.3mm thick	$700.00	$1,000.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

Surgiplas Medical

SP068	Plates	Micro, Mini, Maxi	Mesh 50mm x 74mm Mesh 26 to 50cm2 area	$700.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Cranium

Synthes Australia Pty Ltd

SY490	Mesh Plate	Titanium Contourable mesh plate - mastoid	<0.2 to 0.49mm, >25cm2	$850.00

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO188	Resorb-X Mesh Plate         51 x 51mm	Resorb-X Osteosynthesis System, Resorbable mesh plate	51 x 51mm - 0.3, mm profile	$1,490.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.2.5 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 51 to 100cm2 area

Johnson & Johnson Medical Pty Ltd

JJ257	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-sterile	0.45mm thickness, 85 x 90mm	$1,400.00

Medical & Optical Instruments Australia Pty Ltd

MO127	Titan Mesh	Mesh Sheet Titanium	13 hole 1, 1.5, 2mm	$1,400.00	$2,200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC524	TiMesh	Isogrid Panel	One size only	$1,400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 680 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC525	TiMesh	Sugar Mesh Panel / Grid	11 x 7.5cm	$1,400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC887	TiMesh	Titanium Mesh Panel	51 to 100 cm2 area	$1,400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC890	TiMesh	Square-rectangular Gridmesh Panel	51 to 100 cm2 area	$1,400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC912	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.0mm system. Composition: Titanium	51 to 100 cm2 area; 0.3mm thick	$1,400.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

MC916	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.5mm System. Composition: Titanium	51 to 100 area; 0.3mm thick	$1,400.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST391	Luhr Fixation System 	Luhr Micro and Pan Fixation Systems: Micro mesh  Vitallium	60x100mm	$1,400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST855	Leibinger Titanium Implant System	Mesh: Micro, Dumbach, Dynamic	Diameter 1.0mm - 2.3mm; 90 x 90mm to 200	$1,400.00	Only to be funded where used in a service for

x 200mm	which a Medicare Benefit is payable

Surgiplas Medical

SP078	Plates	Micro, Mini	Mesh Sheet 100mm x 74mm Mesh 51 to 	$1,400.00	Only to be funded where used in a service for

100cm2 area	which a Medicare Benefit is payable

SP109	OsteoMed Plating & Fixation System	Plates	90 x 90mm Osteoform Mesh, Mesh 51 to 	$1,400.00	Only to be funded where used in a service for

100cm2 area.	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY488	Mesh Plate	Titanium Contourable mesh plate	<0.2 to 0.49mm 51 to 100cm2	$1,400.00

Resorbable

Biomet Australia Pty Ltd

BI998	Lactosorb Resorbable Craniomaxillofacial Fixation System	Panel or Sheet, Solid or Holed, PGA/PLA	0.25mm x 100x100mm	$1,750.00	$2,150.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 681 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.1.2.6 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 101 to 200cm2 area

Biomet Australia Pty Ltd

BH024	W Lorenz Osteosynthesis System	Pre-contoured Neuro Mesh, titanium	163 x 115 x 0.3mm	$1,480.00

Johnson & Johnson Medical Pty Ltd

JJ798	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non sterile	132 x 134mm, 0.45mm thickness	$1,480.00	$1,770.00

Medtronic Australasia Pty Ltd

MC888	TiMesh	Titanium Mesh Panel	100 to 200 cm2 area	$1,480.00	$1,800.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.2.7 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, >200cm2 area

Biomet Australia Pty Ltd

BH018	W Lorenz Osteosynthesis System	Sheet 1.5mm System. Titanium	(203-206)mm x (123-127)mm x (0.2-0.3)mm	$1,500.00	$1,750.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ441	Titanium Mesh	Titanium Mesh Sterile	0.2mm thickness, 15cm x 15cm	$1,500.00

Medtronic Australasia Pty Ltd

MC387	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Square Grid Mesh	Large	$1,500.00	$2,000.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP106	OsteoMed Plating & Fixation System	Plates	111 x 191mm Mesh Plate, Mesh > 200cm2 	$1,500.00	Only to be funded where used in a service for

area.	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY314	AO/ASIF  Plate	Titanium Mesh for reconstruction of cranial defects, Low 	200 x 200mm square, 0.4mm - 0.6mm thick, 	$1,500.00

Profile Neuro Mesh	Contourable

SY480	Mesh Plate	Titanium malleable mesh plates	0.4mm > 200cm2 205x205	$1,500.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 682 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.1.3.2 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 1 to 10cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO129	Titan Mesh	Mesh Plates Titanium	1 x 2 holes 1, 1.5, 2mm	$315.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO289	Martin Level One Fixation	Mesh Titanium	0.5 to 0.8mm thick, 1 to 10cm2 area	$315.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC389	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Square Grid Mesh	Small	$315.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC898	Macropore	Orbital Floor Liner	1 to 10 cm2 area; 1.0mm thick	$650.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST245	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	75 x 12 x 0.5mm	$315.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI417	Lactosorb Resorbable Craniomaxillofacial Fixation System	Cover, Solid or Holed, PGA/PLA	(0.5 or 0.8mm) x 25 x 25mm	$600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO300	Resorb-X Mesh Plate 25 x 25mm	Resorb-X Osteosynthesis System, Resorbable mesh plate	29 x 29mm -  0.6, mm profile	$600.00

MO301	Resorb-X Mesh Plate 25 x 25mm	Resorb-X Osteosynthesis System, Resorbable mesh plate	22 x 26mm -  0.6, mm profile	$650.00

Medtronic Australasia Pty Ltd

MC630	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	25mm x 25mm x 0.75mm	$600.00

MC895	Macropore	Protective Sheets	1 to 10 cm2 area; 0.5mm thick	$600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 683 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable, Complex - Orbital

Medtronic Australasia Pty Ltd

MC897	Macropore	Orbital Floor Liner	1 to 10 cm2 area; 0.5mm or 0.75mm thick	$650.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.3.3 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 11 to 25cm2 area

Anatomics Pty Ltd

AT068	E-POR Biomaterial/ Panel - Porous Polyethlene Titanium	Panel - Porous Polyethylene Titanium Mesh Composite	0.5mm - 0.8mm thick, 38mm x 50mm	$900.00

Mesh Composite

Biomet Australia Pty Ltd

BH030	W Lorenzo Osteosynthesis	Mesh 1.5mm system, precontoured, titanium	40 x 40 x 0.6mm profile	$945.00	$1,000.00

Johnson & Johnson Medical Pty Ltd

JJ733	Bioplate - Biomesh 3MC	3MC (0.6mm) thick titanium malleable mesh	36 x 52mm	$510.00

JJ796	BIOPLATE Biomesh	Titanium mesh for cranial fixation system	1.5mm diam; 0.45mm thickness, 32 x 48mm	$700.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO309	Titan Mesh	Mesh Plates Titanium	Box plate 50x30 profile 0.6mm	$510.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO310	Martin Level One Fixation	Mesh Titanium	0.5 to 0.8mm thick, 11 to 25 cm2 area	$800.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC893	Macropore	Protective Sheets	11 to 25 cm2 area, 0.5mm thick	$945.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST246	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	75 x 18 x 0.5mm	$510.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST247	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	.75 x 27 x 0.5mm	$510.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 684 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP108	OsteoMed Plating & Fixation System	Plates	40 x 40mm Osteoform Mesh, Mesh 11 to 	$510.00	$1,250.00	Only to be funded where used in a service for

25cm2 area.	which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI418	Lactosorb Resorbable Craniomaxillofacial Fixation System	Panel, Lactosorb. 1.5mm System. PGA/PLA	25 x 50mm (5 x 10hole)	$945.00	$1,200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI419	Lactosorb Resorbable Craniomaxillofacial Fixation System	Cover, Solid or Holed, PGA/PLA	(0.5 or 0.8)mm x 50x50mm	$945.00	$1,400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC629	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	50mm x 50mm 0.75mm	$945.00

7.1.1.3.4 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 26 to 50cm2 area

Anatomics Pty Ltd

AT069	E-POR Biomaterial/ Panel - Porous Polyethlene Titanium	Panel - Porous Polyethylene Titanium Mesh Composite	0.5mm-0.8mm thick, 76mm x 50mm	$1,050.00

Mesh Composite

AT070	E-POR Biomaterial/ Panel - Porous Polyethlene Titanium	Panel - Porous Polyethlene Titanium Mesh Composite	>0.8mm thick, 38mm x 50mm	$975.00

Mesh Composite

Biomet Australia Pty Ltd

BH023	W Lorenz Osteosynthesis System	Panel, Regular or Small Grid. Titanium	(80,85) x 53mm x 0.6mm	$1,230.00	$1,315.00

BI644	W Lorenz Osteosynthesis System	Mesh panel, 1.5mm System. Titanium	83 x 51mm x 0.6mm	$980.00	$1,165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ258	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-sterile	0.65mm thickness, 65 x 65mm, 90 x 92mm	$980.00

Medical & Optical Instruments Australia Pty Ltd

MO306	MESH	Titanium mesh	various sizes profile 0.6mm	$980.00	$1,620.00

Medtronic Australasia Pty Ltd

MC915	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.5mm System. Composition: Titanium	26 to 50 cm2 area; 0.6mm thick	$980.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 685 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP093	OsteoMed Plating & Fixation System	Plates - Reconstruction	Mesh Malleable/Ridgid, 74 x 50mm, Mesh, 	$980.00	$1,100.00	Only to be funded where used in a service for

0.5 to 0.8mm thick, 26 to 50cm3 area	which a Medicare Benefit is payable.

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO305	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable Mesh Plate	29 to 31 x 104 to 106mm Mesh Plate	$1,230.00	$1,600.00

Medtronic Australasia Pty Ltd

MC560	Macropore	Protective Sheets	60 x 80 x 0.5mm - 60 x 80 x 1.0mm	$1,230.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC628	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	60mm x 80mm x 0.75mm	$1,230.00

7.1.1.3.5 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 51 to 100cm2 area

Aus Systems Pty Ltd

AU057	Titanium Surgical Mesh	Titanium Surgical Mesh	Mesh to suit 2mm screw	$1,175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AU058	Titanium Surgical Mesh	Titanium Surgical Mesh	Mesh to suit 1.5mm screw	$1,175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

B Braun Australia Pty Ltd

BB315	Aesculap CranioPlate System/Plate Neuro, 65 x 90mm, 	Cranial fixation system, internal fracture, non 	Plate Neuro, 65 x 90 mm, 0.6mm Mesh	$1,175.00

0.6mm mesh	biodegradable. Consists of screws, plates.

Medtronic Australasia Pty Ltd

MC623	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 2.2mm System. Composition: Titanium.	114mm x 82mm, 0.6mm	$1,175.00	$1,450.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

MC877	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Mesh	51 to 100 cm2 area, 0.6mm thickness	$1,175.00	$1,450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC913	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.0mm system. Composition: Titanium	51 to 100 cm2 area; 0.6mm thick	$1,175.00	$1,450.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 686 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC917	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.5mm System. Compostition: Titanium	51 to 100 cm2 area; 0.6mm thick	$1,175.00	$1,450.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST250	Leibinger Titanium Implant System	Mesh: Micro, Dumbach, Dynamic	Diameter 1.0mm - 2.3mm; Up to 90 x 90mm	$1,175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP110	OsteoMed Plating & Fixation System	Plates	90 x 90mm Osteoform Mesh, Mesh 51 to 	$1,175.00	$1,250.00	Only to be funded where used in a service for

100cm2 area.	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY489	Mesh Plate	Titanium Contourable mesh plate	0.5 to 0.8mm 51 to 100cm2	$1,175.00	$1,600.00

3D

Medical & Optical Instruments Australia Pty Ltd

MO251	OSTEOSYNTHESIS SYSTEM MESH PLATE	3 D Mesh	0.6mm Profile     80x80	$1,155.00	$2,600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI999	Lactosorb Resorbable Craniomaxillofacial Fixation System	Panel or Sheet, Solid or Holed, PGA/PLA	(0.5 or 0.8)mm 100x100mm	$1,480.00	$2,150.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC627	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	100mm x 100mm x 0.75mm	$1,480.00	$1,940.00

MC899	Macropore	Protective Sheets	51 to 100 cm2 area; 0.5mm thick	$1,480.00	$1,940.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.3.6 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 101 to 200cm2 area

Biomet Australia Pty Ltd

BH025	W.Lorenz Osteosynthesis System	Pre-contoured Neuro Mesh titanium	163 x 115 x 0.6mm	$2,100.00	$2,370.00

Johnson & Johnson Medical Pty Ltd

JJ799	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non sterile	127 x 131mm, 0.6mm thickness	$1,255.00	$1,933.00

Prostheses List by Category, Groups and Sponsor	Page 687 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC878	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Mesh	101 to 200 cm2 area; 0.5 or 0.6mm thickness	$1,255.00	$1,750.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY482	Mesh Plate	Titanium rigid mesh plates	0.6mm < 200cm2	$1,255.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO204	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable Mesh Plate	125 x 125mm	$2,100.00	$5,000.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.3.7 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, >200cm2 area

Biomet Australia Pty Ltd

BH019	W Lorenz Osteosynthesis System	Sheet 1.5mm System. Titanium	206 x 123 x 0.6mm	$1,750.00	$2,370.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ260	BIOPLATE Biomesh	Titanium cranial biomesh 3ME, packaged non-sterile	20 x 20cm	$1,750.00	$3,455.00

Medtronic Australasia Pty Ltd

MC620	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 1.5mm System	148mm x 148mm, 0.6mm	$1,750.00	$2,243.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

MC624	TiMesh Titanium Rigid Fixation Bone Grafting and Plating	FlexMesh 2.2mm System. Composition: Titanium.	154mm x 154mm, 0.6mm	$1,750.00	$2,243.00	Only to be funded where used in a service for

System	which a Medicare Benefit is payable

Surgiplas Medical

SP112	OsteoMed Plating & Fixation System	Plates	125 x 180mm Mesh Plate, 150 x 300mm 	$1,750.00	$2,975.00	Only to be funded where used in a service for

Mesh Plate, Mesh >200cm2 area..	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 688 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY483	Mesh Plate	Titanium rigid mesh plates	0.6mm > 200cm2	$1,750.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.3.8 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, unspecified

Synthes Australia Pty Ltd

SY484	Mesh Plate	Titanium rigid mesh plates - complex shape	0.6mm	$1,690.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.4.2 Mesh for Bone Fixation, CMF, >0.80 thick, 1 to 10cm2 area

Surgiplas Medical

SP100	Bioresorbable Fixation System	Plates	20 x 30mm Mesh, Mesh >0.8mm thick, 1 to 	$470.00	$644.00	Only to be funded where used in a service for

10 cm2 area	which a Medicare Benefit is payable

Resorbable

Medtronic Australasia Pty Ltd

MC896	Macropore	Protective Sheets	1 to 10 cm2 area; 1.0mm thick	$470.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.4.3 Mesh for Bone Fixation, CMF, >0.80 thick, 11 to 25cm2 area

Medtronic Australasia Pty Ltd

MC894	Marcropore	Protective Sheets	11 to 25 cm2 area, 1.0mm thick	$950.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorable

Surgiplas Medical

SP105	OsteoMed Plating & Fixation System	Plates	50 x 50mm Bioresorbable Mesh; Mesh 11 to 	$950.00	$1,250.00	Only to be funded where used in a service for

25 cm2 area	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 689 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Biomet Australia Pty Ltd

BI427	Lactosorb Resorbable Craniomaxillofacial Fixation System	Mesh, Mandibular Lactosorb 2.5mm System. PGA/PLA	1.42mm x 42x42mm	$950.00	$1,367.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO231	Resorb X Plates Various Sizes	Resorb Osteosynthesis System resorbable mesh plate	11 x 126mm	$950.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.4.4 Mesh for Bone Fixation, CMF, >0.80 thick, 26 to 50cm2 area

Anatomics Pty Ltd

AT071	E-POR Biomaterial/ Panel - Porous Polyethylene 	Panel - Porous Polyethylene Titanium Mesh Composite	>0.8mm thick, 76mm x 50mm	$1,150.00

Titanium Mesh Composite

Resorbable

Stryker Australia Pty Ltd

ST516	Stryker Leibinger Resorbable Fixation System	Resorbable plate: blank panel Tripolymer	55x55mm 	$1,020.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST526	Stryker Leibinger Resorbable Fixation System	Resorbable Mesh Tripolymer	55x55mm	$1,020.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.1.4.5 Mesh for Bone Fixation, CMF, >0.80 thick, 51 to 100cm2 area

Medtronic Australasia Pty Ltd

MC900	Macropore	Protective Sheets	51 to 100 cm2 area; 1.0mm thick	$1,430.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP111	OsteoMed Plating & Fixation System	Plates	100 x 100mm Bioresorbable Mesh, Mesh 51 	$1,430.00	$2,975.00	Only to be funded where used in a service for

to 100cm2 area.	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 690 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.2 Clamps, Pins, Tacks, Washers, other ancillary components

7.1.2.1.3 Bone Reconstruction and Fixation,General,Clamps,Pins,Tacks,Washers,other ancillary

Surgiplas Medical

SP096	OsteoMed Plating & Fixation System	Screws	MMF / Anchorage Screws 1.2/1.6/2.0mm 	$57.00	$140.00	Only to be funded where used in a service for

Anchor, Bone	which a Medicare Benefit is payable.

7.1.2.10 Bone Reconstruction and Fixation,General,Clamps,Pins,Tacks,Washers,other ancillary components,Washer

Biomet Australia Pty Ltd

BI499	Small Fragment Titanium System	Washer, Lag Screw 1.2,1.7, 2.3mm System	0.6mm or 1mm height	$30.00	$35.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI731	Mandibular Fracture System	Washer, for High Torque (HT) Lag Screw, 2.0/2.4 	2.0 (dia), 2.4 (dia)	$30.00	$35.00	Only to be funded where used in a service for

Mandibular Fracture System, titanium	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK146	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Bi-concave Washer	$30.00	Only to be funded where used in a service for

Biconcave Washer	fractures and tumour resection	which a Medicare Benefit is payable.

7.1.2.11 Bone Reconstruction and Fixation,General,Clamps,Pins,Tacks,Washers,other ancillary

Polymer

Anatomics Pty Ltd

AT056	E-POR Biomaterial/ Craniotomy Gap Wedge Porous 	Craniotomy Gap Wedge Porous Polyethylene	One Size - V and T shape	$385.00

Polyethylene

AT067	E-POR Biomaterial/ Burr Hole Cover, Porous 	Burr Hole Cover, Porous Polyethylene	15mm x 3mm x 5mm; 29mm x 7mm x 14mm	$385.00

Polyethylene

7.1.2.12 Bone Reconstruction and Fixation,General,Clamps,Pins,Tacks,Washers,other ancillary components,other

Surgiplas Medical

SP095	OsteoMed Plating & Fixation System	Screws	Locking Screw Inserts, Other ancillary	$33.00	$140.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 691 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Medtronic Australasia Pty Ltd

MC580	Macropore	Locks	2 - 20mm	$250.00	$700.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.2.2 Bone Reconstruction and Fixation,General,Clamps,Pins,Tacks,Washers,other ancillary components,Clamps

B Braun Australia Pty Ltd

BB072	Craniofix Titanium Clamps	Titanium	11mm	$95.00

BB073	Craniofix Titanium Clamps	Titanium	16mm	$95.00

BB168	Craniofix	Titanium skull fixation clamp	20mm	$95.00

Biomet Australia Pty Ltd

BI714	RapidFlap Cranial Clamp	Clamp, Burr Hole or Craniotomy Line, Titanium	12, 16, 20mm	$95.00	$108.00

Johnson & Johnson Medical Pty Ltd

JJ290	Burr hole button	Sterile, 10 per package, silicone rubber	Button length 35mm, cover diameter 29mm, 	$95.00

stem thickness 4.1mm

JJ291	Burr hole cover	Burr hole cover, sterile, 10 per package, silicone rubber	Seat diameter 10mm, seat depth 6mm	$95.00

JJ489	Bioplate ZIP	Titanium Alloy Implant	11 - 12mm	$95.00

JJ490	Bioplate ZIP	Titanium Alloy Implant	15 - 16mm	$95.00

JJ491	Bioplate ZIP	Titanium Alloy Implant	18 - 20mm	$95.00

Medtronic Australasia Pty Ltd

MC581	Invisx Locks	Invisx polymer cranial fixation system	Single pack	$95.00	$175.00

MC582	Invisx Locks	Invisx polymer cranial fixation system	2 pack	$95.00	$175.00

Resorbable

B Braun Australia Pty Ltd

BB289	CranioFix Absorbable	Double sided Cranial clamp, absorbable polyester	11mm	$95.00

Prostheses List by Category, Groups and Sponsor	Page 692 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.2.9 Bone Reconstruction and Fixation,General,Clamps,Pins,Tacks,Washers,other ancillary components,Tack

Resorbable

Arthrocare Australasia Pty Ltd

AF027	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & tacks	6 tack kit	$52.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC570	Macropore	Tacks	1.5 x 4mm - 2.0 x 6mm	$52.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3 Plate, General CMF and Small fragment

7.1.3.1.1 CMF Fracture or Reconstruction Plate, <0.5mm thick, <4 holes

Johnson & Johnson Medical Pty Ltd

JJ535	BIOPLATE Low Profile	Low Profile 2-hole Straight Plate	11mm - 14mm length	$65.00

Surgiplas Medical

SP076	Plates	Micro, Midface & Mini	Straight Plate - 2 Hole, Plate < 4 holes.	$65.00	$120.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

3D

Stryker Australia Pty Ltd

SK370	Universal Neuro	NeuroClip	1.5mm	$85.00

pack

Biomet Australia Pty Ltd

BI949	Neurological Packs	Plate & screws: Neuro pack - single plate or thinflip 2 hole 	1.5mm or 2mm system	$342.00	$360.00

plate set

7.1.3.1.2 CMF Fracture or Reconstruction Plate, <0.5mm thick, 4 to 7 holes

Johnson & Johnson Medical Pty Ltd

JJ537	BIOPLATE Low Profile	Low Profile 4-hole Straight Plate	19mm length	$140.00

JJ538	BIOPLATE Low Profile	Low Profile 5-hole Y Plate	18mm length	$140.00	$156.00

JJ539	BIOPLATE Low Profile	Low Profile 6-hole X Plate	17mm length	$140.00	$255.00

Prostheses List by Category, Groups and Sponsor	Page 693 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ540	BIOPLATE Low Profile	Low Profile 5-hole T Plate	15mm length	$140.00	$170.00

JJ541	BIOPLATE Low Profile	Low Profile 4-hole Boxcar Plate	10 x 10mm	$140.00	$195.00

JJ542	BIOPLATE Low Profile	Low Profile 6-hole Narrow Boxcar Plate	8 x 17mm	$140.00	$231.00

Complex - Burr

Johnson & Johnson Medical Pty Ltd

JJ544	BIOPLATE Low Profile	Low Profile Flex Contoured Burr Hole Cover	18mm diam plate	$190.00

Medical & Optical Instruments Australia Pty Ltd

MO121	Martin Micro Plate Osteosynthesis System	1.5mm system Burr Hole Cover Titanium	12 to 22mm, 0.3 - 0.6mm profile	$190.00	$330.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

pack

Johnson & Johnson Medical Pty Ltd

JJ638	BIOPLATE Neurosurgery Fixation System - 	Five Hole T-Plate with Screws - Titanium	1.5mm	$355.00	$395.00

BIOPLATE Low Profile Plate and Screw Sterile Packs

7.1.3.1.3 CMF Fracture or Reconstruction Plate, <0.5mm thick, 8 to 15 holes

Johnson & Johnson Medical Pty Ltd

JJ543	BIOPLATE Low Profile	Low Profile 8-hole Boxcar Plate	10 x 24mm	$281.00

7.1.3.2.1 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, <4 holes

Australian Surgical Innovations Pty Ltd

AI004	ASI Plates and Screws	Plate	Straight, Left, Right, X, T and Y shaped	$95.00	$104.00

B Braun Australia Pty Ltd

BB304	Aesculap CranioPlate System/ Plate Neuro, 2 hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 2 hole 11 & 16mm straight	$95.00

straight	biodegradable.  Consists of screws, plates

Biomet Australia Pty Ltd

BI677	W Lorenz Osteosynthesis System	Plate, Neuro Straight, 1.5mm System, Titanium	2 hole (medium or long)	$95.00	$110.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI718	W Lorenz Osteosynthesis System	Neuro Gap Plate, Titanium	6 hole 25mm length	$95.00	$140.00

Prostheses List by Category, Groups and Sponsor	Page 694 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ204	Bioplate Bone Plate 	Titanium cranial fixation system - straight plate, 2 hole 	1.5mm diam, 11mm length; pack of 5	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ216	Bioplate Bio-100 Plate 	Titanium cranial fixation system, 2 hole	1.9mm diam; 15mm length pack of 5	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ270	BIOPLATE Bone plate	Titanium straight plate, 2 hole, 5 per pack, packaged non-	12mm in length	$95.00

sterile

JJ281	BIOPLATE Bone plate	Titanium BIO100, 2 hole plate, 5 per pack, packaged non-	1.5mm - 1.9mm Diam, 14mm length	$95.00

sterile

Medical & Optical Instruments Australia Pty Ltd

MO250	Martin Microplate Osteosynthesis system	1.5mm Titanium Plate	2-6 Hole	$95.00	$226.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO283	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	2 hole, 0.6mm profile	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC872	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	< 4 holes	$95.00	$150.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC908	Timesh	Rigid Straight Plates	< 4 holes	$95.00	$805.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD002	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 2-6 hole	$95.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK356	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the fixation of cranial 	2-hole plate, 12mm bar, 16mm bar	$95.00	Only to be funded where used in a service for

bone plates	which a Medicare Benefit is payable

ST143	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x7-10mm, 0.55mm height	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 695 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST204	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: straight Titanium	2 holes, 0.55mm height	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST343	Leibinger Titanium Implant System	Leibinger 3D Plating System: micro triangular plate Titanium	3 holes	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP075	Plates	Micro, Midface & Mini	Straight Plate - 2 Hole, Plate < 4 holes.	$95.00	$120.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SP101	Bioresorbable Fixation System	Plates	Neuro Fixation Set	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Burr

Medtronic Australasia Pty Ltd

MC867	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Plate	Ohata Tristar 8.4 10mm, < 4 hole	$140.00	$335.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK267	Leibinger Titanium Implant System	Burr Hole Cover 1.0mm - 2.3mm	Diameter 7, 10, 14 & 20mm	$140.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Compression

Johnson & Johnson Medical Pty Ltd

JJ275	BIOPLATE Bone plate	Titanium cranial straight plate, 2 hole, packaged non-sterile	1.5mm - 1.9mm diam, 14 - 15mm length	$140.00

Synthes Australia Pty Ltd

SY475	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm < 4 holes	$140.00	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Compression, Complex - Bur

Synthes Australia Pty Ltd

SY478	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm < 4 holes	$140.00	$280.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 696 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Compression, pack

Johnson & Johnson Medical Pty Ltd

JJ501	BIOPLATE Sterile Packs	813582, 2-Hole compression plate and screws - 1.9mm	1 kit	$399.00

JJ502	BIOPLATE Sterile Packs	813583, 2-Hole compression plate and screws - 1.9mm	1 kit	$140.00

Locking

Stryker Australia Pty Ltd

ST358	Leibinger Screws 	Leibinger - Salzburg Lag Screw System: locking plate, 	2 holes	$86.00	Only to be funded where used in a service for

Titanium, with biconcave washers	which a Medicare Benefit is payable

pack

Johnson & Johnson Medical Pty Ltd

JJ492	BIOPLATE Sterile Packs	813573, 2-Hole straight plate and screws - 1.5mm	1 kit	$453.00

JJ493	BIOPLATE Sterile Packs	813574, 2-Hole compression plate and screws - 1.5mm	1 kit	$453.00

JJ494	BIOPLATE Sterile Plates	813575, 2-Hole straight plate and screws - 1.5mm	1 kit	$400.00

JJ500	BIOPLATE Sterile Packs	813581, 2-Hole straight plate and screws - 1.9mm	1 kit	$340.00

JJ734	Bioplate - Two hole straight plate with 2 self drilling 	Sterile low profile kit -2 hole plate w/ 2 self drill scews	11-19mm plates and 3-5mm self-drilling 	$151.00	$159.00

screws sterile kit	screws

JJ735	Bioplate - 2 x two hole straight plate with 4 self-drilling 	Sterilised low profile kit containing 2 x 2 hole compression 	11 - 19mm plates and 3-5mm self drilling 	$302.00	$318.00

screws sterile kit	plates and 4 x self-drilling screws	screws

Resorbable

Synthes Australia Pty Ltd

SY512	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick,<4 holes	$180.00

7.1.3.2.2 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, 4 to 7 holes

Advanced Surgical Design & Manufacture Ltd

AE054	ASDM Bone Plates	Titanium 1.0mm MF Bone Plate	Small, Single square plate 2x2 holes, T-shape,	$170.00

90 deg, 5 holes

Prostheses List by Category, Groups and Sponsor	Page 697 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AE055	ASDM Bone Plates	Titanium 1.0mm MF Bone Plate	Medium, Double square plate, 3x2 holes; 	$170.00

Double Y-shape, 6 or 7 holes; Y-shape, 6

hole; Double T-shape, 9 hole;T-shape, 90

deg, 7 holes;L-shape, right or left, 5

hole;Straight Plate, 8 hole

AE057	ASDM Bone Plates	Titanium 1.7mm MF Bone Plate, Titanium	Small, Straight plate, 6-8mm, 4 hole;L-Shape,	$170.00

right or left, 6mm, 4 hole;Curved plate, 6mm,

4 hole

AE058	ASDM Bone Plates	Tiranium 1.7mm MF Bone Plate, Titanium	Medium, L-Shape, right or left, 8mm, 4 	$170.00

hole;Y-Shape, 8mm, 5 hole;T-Shape, 10mm,

5 hole;L-shape, right or left, 10-12mm, 4-5

holes;Straight Plate, 8 hole;Double Y-Shape,

6-7 holes;Curved plate, 6-8 holes;Single

square plate, 2x2 holes

AE060	ASDM Bone Plates	Titanium 2.0mm MF Bone Plate, Titanium	Small, Straight plate, 9-13mm, 4 	$170.00

holes;Staright plate, 4 holes;L-shape, right or

left, 4 holes

AE061	ASDM Bone Plates	Titanium 2.0mm MF Bone Plate, Titanium	Medium, Y-Shape, 8 hole;Double Y-Shape, 	$170.00

6 hole;L-Shape, right or left, 5 holes;L-Shape,

right or left, 9-13mm, 4 holes;Straight Plate, 6

hole;Curved plate, 6 hole

AE062	ASDM Bone Plates	Titanium 2.0mm MF Bone Plate, Titanium	Large, Double square plate, 3x2 holes;Curved	$170.00

plate, 10 hole;Straight plate, 16 hole;L-shape

plate, right or left, 9 holes

B Braun Australia Pty Ltd

BB305	Aesculap CranioPlate System/Plate Neuro, 6 hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 6 hole 10 x 17 mm rectangular	$170.00

rectangular	biodegradable.  Consists of screws, plates.

BB306	Aesculap CranioPlate System/ Plate Neuro, 4 hole square	Cranial fixation system, internal fracture, non 	Plate Neuro, 4 hole 10mm square	$170.00

biodegradable.  Consists of screws, plates.

BB307	Aesculap CranioPlate System/ Plate Neuro, 4 hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 4 hole 17 & 20 mm straight	$170.00

straight	biodegradable.  Consists of screws, plates.

BB308	Aesculap CranioPlate System/ Plate Neuro, 6 hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 6 hole 15 & 17mm, double Y 	$170.00

double Y	biodegradable.  Consists of screws, plates.	shape

Prostheses List by Category, Groups and Sponsor	Page 698 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB309	Aesculap CranioPlate System/ Plate neuro, 5 hole Y	Cranial fixation system, internal fracture, non 	Plate Neuro, 5 hole 17mm, Y shape	$170.00

biodegradable.  Consists of screws, plates

BB313	Aesculap CranioPlate System/ Plate Neuro, Burr hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 6 hole x 16 & 20mm Burr hole 	$170.00

cover 12 & 16mm	biodegradable.  Consists of screws, plates.	cover

Biomet Australia Pty Ltd

BH010	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System` Plate, all shapes, 	4-7 hole	$170.00	$248.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

BI348	W Lorenz Osteosynthesis System	L-Plate, 2mm System, Left or Right. Titanium	2 x 2 hole, Mini or Low Profile	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI351	W Lorenz Osteosynthesis System	L-Plate, 2mm System, Left or Right. Titanium	2 x 2 hole, long	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI605	W Lorenz Osteosynthesis System	Plate, Matrix, 1.0 or 1.5mm System, Titanium	6 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI617	W Lorenz Osteosynthesis System	Plate, Straight, 1mm System. Titanium	4 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI620	W Lorenz Osteosynthesis System	Plate, Straight, low profile, 2.0mm System, Titanium	4 - 8 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI621	W Lorenz Osteosynthesis System	Plate, L , 2.5mm or 2m system, Titanium	2 x2 or 3x3 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI622	W Lorenz Osteosynthesis System	Z-Shape Plate, Left or Right, 1.5mm or 2mm System. 	2 x 2 hole	$170.00	$220.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

BI623	W Lorenz Osteosynthesis System	T-Plate, Left or Right, 1.5mm System. Titanium	3x3 hole, 7x7 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI624	W Lorenz Osteosynthesis System	T-Plate 90 degrees, Left or Right, 2mm System. Titanium	2x5hole, 3x3hole, 2x3hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI625	W Lorenz Osteosynthesis System	Plate, Y, Double Y, X, 1.5mm System or 2.0mm System, 	One size only	$170.00	$220.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 699 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI627	W Lorenz Osteosynthesis System	Plate, Straight, 1.5mm System, Titanium	4 or 6 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI633	W Lorenz Osteosynthesis System	T Plate 90 degrees, 1mm System, Titanium	5 hole, Regular	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI635	W Lorenz Osteosynthesis System	Plate, DoubleT, Double Y; 1mm, 2mm system, Titanium	6,7,11 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI636	W Lorenz Osteosynthesis System	Plate, Y-Shape, 1mm System, 2mm System .Titanium	Regular, medium, long, xlong, nasal. 6 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI638	W Lorenz Osteosynthesis System	Plate, Orbital. 1mm System, Titanium	One size only	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI639	W Lorenz Osteosynthesis System	Plate, Square. 1mm System. Titanium	4 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI640	W Lorenz Osteosynthesis System	Plate, Matrix, 1.0 or 1.5mm System, Titanium	6 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI656	W Lorenz Osteosynthesis System	Plate, Orbital, 1.5mm, 2.0mm System, Titanium	6 hole	$170.00	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI660	W Lorenz Osteosynthesis System	Plate, H-Shape, 1.5mm System, Titanium	One size only	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI717	W Lorenz Osteosynthesis System	Neuro Gap Plate, Titanium	6 hole, 45mm length	$170.00	$220.00

BI720	W.Lorenz Osteosynthesis System	Neuro Gap Plate; titanium	6 hole, 35mm length	$170.00	$220.00

BI728	W.Lorenz Osteosynthesis System	Neuro Square or Rectangular Plate, titanium	1.5mm system, 4 hole	$170.00	$220.00

BI988	W Lorenz Osteosynthesis System	Plate Straight 2mm System	4 - 7 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ205	Bioplate Bone Plate 	Titanium cranial fixation system - straight plate, 4 hole 	1.5mm - 1.9mm diam, 19mm length	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 700 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ206	Bioplate Bone Plate 	Titanium cranial fixation system - Y plate, 5 hole	1.5mm diam, 17mm length	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ207	Bioplate Bone Plate 	Titanium cranial fixation system - X plate, 6 hole	1.5mm -1.9 diam, 17 - 18mm length	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ208	Bioplate Bone Plate 	Titanium cranial fixation system - T plate, 5 hole	1.5mm diam, 15mm length	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ211	Bioplate Bone Plate 	Titanium cranial fixation system - box car, 4 hole	1.5mm - 1.9mm diam, 10 x 10mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ212	Bioplate Bone Plate 	Titanium cranial fixation system - box car 6 hole	1.5mm diam, 8 x 17mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ271	BIOPLATE Bone plate	Titanium Y plate, 5 hole, packaged non-sterile	1.9mm diam, 19mm length	$170.00

JJ272	BIOPLATE Bone plate	Titanium T-plate, 5 hole, packaged non-sterile	1.9mm diam, 16mm length	$170.00

JJ273	BIOPLATE Bone plate	Titanium boxcar plate, 6 hole, packaged non-sterile	1.9mm diam, 9 x 18mm	$170.00

JJ280	BIOPLATE Bone plate	Titanium large boxcar plate, 4 hole, packaged non-sterile	1.5mm diam, 14 x 14mm length	$170.00

Medical & Optical Instruments Australia Pty Ltd

MO285	Martin LevelOne Fixation	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes	$198.00	$355.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO286	Martin Miniplate Osteosynthesis System	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes	$246.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO296	Martin Miniplate Osteosynthesis System	2.0mm system plate straight angled shaped	4 -7 Hole,  0.6-1.0 mm thick	$170.00

MO297	Martin Level One Fixation	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes	$170.00

Medtronic Australasia Pty Ltd

MC393	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Z Plate Left and Right	4 hole - 5mm, 9.5mm	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 701 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC519	TiMesh	Squareplate	4 holes x 1mm - 4 holes x 2.2mm	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC520	TiMesh	X Plate	4 holes x 1mm - 4 holes x 2.2mm	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC576	Timesh	Double Y Plates	3 Hole - 2.5mm - 7mm	$170.00	$900.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC870	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Y Plate Double and Single	4 - 7 hole	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC875	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, T Plate	4 - 7 hole	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC883	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, L Plate (Left and right configurations)	4 to 7 holes	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC885	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, H Plate	4 - 7 hole	$170.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC891	Macropore	Oblique Plates	4 to 7 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC909	Timesh	Rigid Straight Plates	4 - 7 holes	$170.00	$805.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD007	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	L Shape Right & Left	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD008	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	T Shape	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD009	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Y Shape	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 702 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MD011	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	T Shape	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD015	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 4-6 hole	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD019	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 8 hole & L Shape - Right & Left	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD021	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	T Shape	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD022	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Y Shape	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD024	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	T, Y, Orbital Shape	$170.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD038	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 4 - 6 hole	$170.00	Only to be funded where used in a service for

1700 Reconstruction System	which a Medicare Benefit is payable

MD042	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Orbital Shape	$170.00	Only to be funded where used in a service for

1700 Reconstruction System	which a Medicare Benefit is payable

MD043	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	T, Y, Z Shape	$170.00	Only to be funded where used in a service for

1700 Reconstruction System	which a Medicare Benefit is payable

MD047	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	L Shape Right & Left	$170.00	Only to be funded where used in a service for

1700 Reconstruction System	which a Medicare Benefit is payable

MD058	Mondeal Medical Systems Implant & Prostheses, Micro 	Plate	L, T Shape	$170.00	Only to be funded where used in a service for

1200 Reconstruction System	which a Medicare Benefit is payable

MD059	Mondeal Medical Systems Implant & Prostheses, Micro 	Plate	L, Y Shape	$170.00	Only to be funded where used in a service for

1200 Reconstruction System	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 703 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MD062	Mondeal Medical Systems Implant & Prostheses, Micro 	Plate	H Shape	$170.00	Only to be funded where used in a service for

1200 Reconstruction System	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK259	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	7 Hole Double Y Plate Upperface, malleable; 	$170.00	Only to be funded where used in a service for

7 Hole Double Y Plate, Upperface	which a Medicare Benefit is payable

SK260	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	2x2 Hole 3-D Plate Upperface, malleable; 	$170.00	Only to be funded where used in a service for

2x2 Hole 3-D Plate, Upperface	which a Medicare Benefit is payable

SK261	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	6x2 Hole 3-D Plate Upperface, malleable; 	$170.00	Only to be funded where used in a service for

6x2 Hole 3-D Plate, Upperface	which a Medicare Benefit is payable

SK263	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	7 Hole T Plate, Upperface	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK264	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	4 Hole Orbita Plate, Upperface	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK270	Leibinger Titanium Implant System - Universal CMF Plate	Midface Fixation Plates	4 Hole Straight Plate with Bar, Midface; 4 	$170.00	Only to be funded where used in a service for

Hole Curved Plate with Bar, Midface	which a Medicare Benefit is payable

SK272	Leibinger Titanium Implant System - Universal CMF Plate	Midface Fixation Plates	5 Hole T Plate, Midface	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK273	Leibinger Titanium Implant System - Universal CMF Plate	Midface Fixation Plates	5 Hole Y Plate with 4mm Bar, Midface	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK274	Leibinger Titanium Implant System - Universal CMF Plate	Midface Fixation Plates	7 Hole Double Y Plate, Midface	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK280	Leibinger Titanium Implant System - Universal CMF Plate	L Plates 100 Degree, Advancement 2 - 10mm	5 - 6 Hole	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK282	Leibinger Titanium Implant System - Universal CMF Plate	L Plate 100 Degree  Advancement 12mm	5 - 6 Holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 704 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK283	Leibinger Titanium Implant System - Universal CMF Plate	Graduated Stability L Plates	5 Hole L Plate 2mm Advancement 100 	$170.00	Only to be funded where used in a service for

Degree Left, Midface, GSP; 5 Hole L Plate 	which a Medicare Benefit is payable

2mm Advancement 100 Degree Right,

Midface, GSP

SK340	Leibinger Titanium Implant System - Universal CMF Plate	Z Plate, Right/Left	 4 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK349	Leibinger Titanium Implant System - Universal CMF Plate	Titanium plates used for reconstruction and fixation of 	Universal CMF 4 hole Z plate, Small, 	$170.00	Only to be funded where used in a service for

craniomaxillofacial fractures or osteotomy performed for 	Orthognathic, locking. Universal CMF 4 hole 	which a Medicare Benefit is payable

correction of facial deformity	Z plate, Large, Orthognathic, locking.

SK363	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the fixation of cranial 	8 hole plate without bar,  2 x 2 box plate, 	$170.00	Only to be funded where used in a service for

bone flaps	double Y 6 hole 8mm	which a Medicare Benefit is payable

ST123	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight Titanium	4 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST125	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight Titanium	6 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST130	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: straight, L-shape, right/left	5 holes	$170.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST132	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: T-shape, 90 deg Titanium	5 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST133	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: T-shape, 90 deg Titanium	7 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST137	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Y-shape Titanium	6 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST138	Leibinger Titanium Implant System	Micro Plus Bone plate: double-Y-shape	6 - 7 Holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST139	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-Y-shape Titanium	7holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 705 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST142	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x2-6mm, 0.55mm height	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST144	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x11-12mm, 0.55mm height	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST151	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular Titanium	4 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST154	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular Titanium	6 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST160	Leibinger Titanium Implant System	Bone plate L-shape, 90 deg, right/left	4 Holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST162	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-shape, 90 deg, 	4 holes, 8mm bar, 0.55mm height	$170.00	Only to be funded where used in a service for

with bar, right/left Titanium	which a Medicare Benefit is payable

ST164	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-shape, 90 deg, 	4 holes, 10mm bar, 0.55mm height	$170.00	Only to be funded where used in a service for

with bar, right/left Titanium	which a Medicare Benefit is payable

ST165	Leibinger Titanium Implant System	L-shape, right/left, with Bar	5 - 7 Hole	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST170	Leibinger Titanium Implant System	Bone plate T-shape with or without bar	4 HOLES	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST172	Leibinger Titanium Implant System	Mini Wurzburg Bone plate, T-shape	5 - 6 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST180	Leibinger Titanium Implant System	Bone plate Y-shape,	5 HOLES	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST181	Leibinger Titanium Implant System	Mini Wurzburg Bone plate: T- Shape,  Y- Shape & Double	5 - 6 holes	$170.00	Only to be funded where used in a service for

-T- Shape	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 706 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST183	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: double-Y-shape, 	6 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

regular Titanium	which a Medicare Benefit is payable

ST184	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: double-Y-shape, with	6 holes, 8mm bar, 0.55mm height	$170.00	Only to be funded where used in a service for

bar Titanium	which a Medicare Benefit is payable

ST185	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: double-Y-shape, 	7 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

regular Titanium	which a Medicare Benefit is payable

ST188	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: curved, with 	4 holes, 6mm bar, 0.55mm height	$170.00	Only to be funded where used in a service for

bar Titanium	which a Medicare Benefit is payable

ST189	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: curved, with 	6 holes, 8mm bar, 0.55mm height	$170.00	Only to be funded where used in a service for

bar Titanium	which a Medicare Benefit is payable

ST190	Leibinger Titanium Implant System	LeibingerSteinhauser Orbita Bone plate: curved Titanium	6 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST195	Leibinger Titanium Implant System	Bone plate, L-shape, 110 deg, right/left Titanium	4 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST197	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-shape, 110 deg, 	4 & 5 holes, with 12mm bar, 0.55mm height	$170.00	Only to be funded where used in a service for

regular, with bar,  right/left Titanium	which a Medicare Benefit is payable

ST198	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: square, 	2x2 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

rectangular Titanium	which a Medicare Benefit is payable

ST199	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: square, 	3x2 holes, 0.55mm height	$170.00	Only to be funded where used in a service for

rectangular Titanium	which a Medicare Benefit is payable

ST231	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-shape, 110 deg, 	4 holes	$170.00	Only to be funded where used in a service for

regular Titanium	which a Medicare Benefit is payable

ST232	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-shape, 110 deg, 	4 holes, with 6mm, 8mm, 10mm bar	$170.00	Only to be funded where used in a service for

right/left Titanium	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 707 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST233	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-shape, 110 deg, 	5 holes, with 12mm bar	$170.00	Only to be funded where used in a service for

right/left Titanium	which a Medicare Benefit is payable

ST311	Leibinger Titanium Implant System	Plate - Leibinger Low Profile Osteosynthesis System: mini, 	4 holes	$170.00	Only to be funded where used in a service for

non-compression / compression, straight, regular / 	which a Medicare Benefit is payable

extended, medium / long Titanium

ST314	Leibinger Titanium Implant System	Leibinger Low Profile Osteosynthesis System: L-shape, 	4 holes	$170.00	Only to be funded where used in a service for

right/left, regular, medium, long Titanium	which a Medicare Benefit is payable

ST315	Leibinger Titanium Implant System	Leibinger Low Profile Osteosynthesis System: L-shape, 	5 holes	$170.00	Only to be funded where used in a service for

right/left, long, extended Titanium	which a Medicare Benefit is payable

ST326	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, rectangular 	2x2 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST327	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, rectangular 	2x3 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST331	Leibinger Titanium Implant System	Leibinger Micro Bone plate Titanium	4 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST332	Leibinger Titanium Implant System	Leibinger Micro Bone plate Titanium	6 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST333	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight titanium	6 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST337	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: L-shape, right/left Titanium	5 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST339	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: T-shape, double-T-	5, 7, 9 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

shape, right/left, 90 deg Titanium	which a Medicare Benefit is payable

ST340	Leibinger Titanium Implant System	Leibinger Steinhauser Bone Plate: X-shape Titanium	4, 8, 9 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 708 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST341	Leibinger Titanium Implant System	Leibinger Micro Bone Plate: Y-shape, double-Y-shape 	6 holes, 0.55mm profile	$170.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST392	Luhr Fixation System 	Luhr Micro Fixation System: micro double-T-shape plate 	6 holes, 6x7mm	$170.00	Only to be funded where used in a service for

Vitallium	which a Medicare Benefit is payable

ST393	Luhr Fixation System 	Luhr Micro Fixation System: micro double-T-shape plate 	7 holes, 10x10mm	$170.00	Only to be funded where used in a service for

Vitallium	which a Medicare Benefit is payable

ST402	Luhr Fixation System 	Luhr Micro Fixation System: micro T-shape plate Vitallium	6 holes, 14mm, 8 holes, 22mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST412	Luhr Fixation System 	Luhr Pan Fixation System: condensed, straight plate Vitallium	4 holes x 12mm, 6 holes x 18mm, 12 holes x 	$170.00	Only to be funded where used in a service for

36mm	which a Medicare Benefit is payable

ST415	Luhr Fixation System 	Luhr Pan Fixation System: L-shape plate, 90 deg Vitallium	4 holes, 16 x 9mm, 22 x 9mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST416	Luhr Fixation System 	Luhr Pan Fixation System: L-shape plate, 110 deg Vitallium	4 holes, 16 x 9mm, 22 x 9mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST417	Luhr Fixation System 	Luhr Pan Fixation System: straight plate Vitallium	4 holes, 21mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST477	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, regular/long, 	6 holes	$170.00	Only to be funded where used in a service for

with/without bar Titanium	which a Medicare Benefit is payable

Surgiplas Medical

SP074	Plates	Micro, Midface, Mini, BSSO, TR BSSO	4 Hole BSSO Plate Short, Medium, Long; TR	$165.00	Only to be funded where used in a service for

BSSO Plate, Short, Long; 4 & 6 Hole 	which a Medicare Benefit is payable

Straight Plate 1.0mm thick, Plate 4 to 7 holes.

SP084	Plates	Mini & Maxi	4 & 5 Hole compression Plates 4 to 7 Holes	$185.00	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 709 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP087	Plates	Mini & Maxi	Zygomatic Plates, Pyriform Plates, 	$170.00	$204.00	Only to be funded where used in a service for

Orthognathic, Y Plates, Y Plate, H Plate, 5 	which a Medicare Benefit is payable

Hole straight plate, 13mm & 16mm L Plate -

Left & Right, 19mm T Plate, X Plate; 10mm

Square Plate; 13mm, 15mm & 22mm L Plate

- Left & Right, 9mm & 11mm ZED Plate -

Left & Right,  4 Hole I Plate, 18mm 4 Hole

Straight Plate, 4 & 6 Hole Straight Plate,

Square Plate, X Plate Extended. Double Y

Plate Extended; X Plate; Midface: 15mm 5

Hole Y Plate,  Double Y Plate,  Straight Plate

5 Hole, 15mm, 18mm & 23mm L Plate Right

& Left, 26mm Y Plate, 15mm & 20mm Z

Plate Right & Left, 24mm Straight Plate,

16mm I Plate, 22mm T Plate, Rigid 15mm,

18mm & 23mm L Plate Right & Left, Rigid

26mm Y Plate, 15mm & 20mm Z Plate Right

& Left, Rigid 24mm Straight Plate, Rigid

16mm I Plate, Rigid Double Y Plate, Plates 4

to 7 holes.

Synthes Australia Pty Ltd

SY252	AO/ASIF Facio-Maxillary Plates	Flapfix - Plates for fixation of cranial bone flaps	10 - 20mm	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SY319	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99mm 4 -7 holes	$170.00

SY468	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SY494	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99 4 - 7 holes	$170.00

Prostheses List by Category, Groups and Sponsor	Page 710 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Burr

Surgiplas Medical

SP072	Plates	Micro, Mini, Maxi	Burr Hole Plates, Calvarium Plate - Small & 	$198.00	$280.00	Only to be funded where used in a service for

Large - Caivarium Plate, Plates 4 to 7 Holes	which a Medicare Benefit is payable

Complex

Synthes Australia Pty Ltd

SY470	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes	$185.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Burr

Aus Systems Pty Ltd

AU014	Aus Systems Titanium Miniplates (Bone Plates)	Low profile burr hole cover	10mm, 14mm, 18mm, 22mm	$198.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Biomet Australia Pty Ltd

BI353	W Lorenz Osteosynthesis System	Plate, Burr Hole, 1mm, 1.5mm, 2mm system	13mm, 17mm, 18.5mm	$198.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI721	W Lorenz Osteosynthesis System	Plate, Burr Hole, 1.5mm System, Titanium	22mm, 25mm	$198.00	$250.00

Johnson & Johnson Medical Pty Ltd

JJ209	Bioplate Burr Hole Cover 	Titanium cranial fixation system - burr hole, 6 hole	1.5mm  - 1.9 diam, screw 12 - 18mm diam 	$198.00	Only to be funded where used in a service for

plate	which a Medicare Benefit is payable

JJ210	Bioplate Burr Hole Cover 	Titanium cranial fixation system - burr hole, 6 hole	1.5mm diam, 18mm plate	$198.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ284	BIOPLATE Burr hole cover	1.9mm, titanium, flexible contoured burr hole cover, 	1.5 - 1.9mm diam hole, 12-18mm diam plate	$198.00

packaged non-sterile

Medtronic Australasia Pty Ltd

MC868	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Plate	Fan Blade 11-18mm, Mesh 11-25mm, 4 - 7 	$198.00	$335.00	Only to be funded where used in a service for

hole	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 711 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

ST141	Leibinger Titanium Implant System	Leibinger Burr Hole Cover: curved  Titanium	7, 10, 14mm	$198.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Burr, pack

Johnson & Johnson Medical Pty Ltd

JJ499	BIOPLATE Sterile Packs	813580, 6-Hole Burr Hole cover and screws - 1.5mm	1 kit	$438.00	$494.00

JJ507	BIOPLATE Sterile Packs	813588, 6-Hole Burr Hole Cover and Screws - 1.9mm	1 kit	$434.00

Complex - Chin

Biomet Australia Pty Ltd

BI591	W Lorenz Osteosynthesis System	Chin Plates, Paulus, 2mm System, Titanium	4 - 12mm	$246.00	$275.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI774	W Lorenz Osteosynthesis System	Lefort plate, 1.5mm system, 0.6mm thickness, titanium	Flat, 2-11mm	$246.00	$360.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Mondeal Medical Systems Pty Ltd

MD104	Mondeal Medical Systems Implant & Prostheses	Chin Plate	4mm - 12mm	$246.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK348	Leibinger Titanium Implant System - Universal CMF Plate	Titanium plates used for reconstruction and fixation of 	Universal CMF 4 hole chin plate, 4mm. 	$246.00	Only to be funded where used in a service for

craniomaxillofacial fractures or osteotomy performed for 	Universal CMF 4 hole chin plate, 6mm. 	which a Medicare Benefit is payable

correction of facial deformity	Universal CMF 4 hole chin plate, 8mm.

Universal CMF 4 hole chin plate, 10mm.

Universal CMF 4 hole chin plate, 12mm.

ST356	Leibinger Titanium Implant System	Paulus Chin plate Titanium	2, 4, 6, 8, 10, 12, 14mm bar, 0.6mm	$246.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 712 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Complex - Cranium

Surgiplas Medical

SP070	Plates	Micro, Mini, Maxi	Gap Plates, Plates 4 to 7 holes	$280.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - Orbital

Biomet Australia Pty Ltd

BI738	W.Lorenz Osteosynthesis System	Orbital Floor Plate; Titanium	1.5mm system, Large	$890.00	$1,080.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI740	W.Lorenz Osteosynthesis System	Orbital Floor Plate (Small) or NOE plate, 1.5mm System, 	Small or NOE plate	$890.00	$950.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

Compression

Biomet Australia Pty Ltd

BI349	W Lorenz Osteosynthesis System	Plate, Compression Straight, 2mm System. Titanium	4 hole	$185.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST234	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Compression Bone plate: L-	4 holes, with 6 x 1mm bar	$185.00	Only to be funded where used in a service for

shape, C-shape Titanium	which a Medicare Benefit is payable

ST235	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Compression Bone plate: L-	6 holes, with 8 x 1mm bar	$185.00	Only to be funded where used in a service for

shape, C-shape Titanium	which a Medicare Benefit is payable

Surgiplas Medical

SP033	OsteoMed Plating & Fixation System	Compression Plates - Micro, Mini & Maxi	Micro: 2 x 3 Hole Compression T Plate, 	$185.00	Only to be funded where used in a service for

Oblique Left & Right Compression T Plate, 4 	which a Medicare Benefit is payable.

Hole Straight Compression Plate; 5 Hole

Straight Plate, 13mm Left & Right L Plate,

19mm T Plate, 2 x 3 Hole Quad Plate; Mini: 4

Hole Left & Right L Plate, 4 Hole Left & Rig

Prostheses List by Category, Groups and Sponsor	Page 713 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Synthes Australia Pty Ltd

SY473	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes	$185.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Stryker Australia Pty Ltd

SK289	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	2x2 Hole 3-D Plate, Midface, Locking	$195.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK291	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	5 Hole Y Plate with 4mm Bar, Midface, 	$195.00	Only to be funded where used in a service for

Locking; 5 Hole Y Plate with 8mm Bar, 	which a Medicare Benefit is payable

Midface, locking

SK292	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	7 Hole Double Y Plate, Midface, locking	$195.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK294	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	5 Hole L Plate 2mm Advancement, Midface, 	$195.00	Only to be funded where used in a service for

locking; 5 Hole L Plate 5mm Advancement, 	which a Medicare Benefit is payable

Midface, locking

SK295	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	6 Hole L Plate 8mm Advancement, Midface, 	$195.00	Only to be funded where used in a service for

locking; 6 Hole L-Plate 12mm Advancement, 	which a Medicare Benefit is payable

Midface, locking

pack

Biomet Australia Pty Ltd

BI870	Neurological Packs	Plate & screws: Neuro pack Burr cover or multi plate set.  	1.5mm or 2mm system	$543.00	$720.00

Thinflap 4 hole plus plate sets

Johnson & Johnson Medical Pty Ltd

JJ497	BIOPLATE Sterile Packs	813578, X-plate and screws - 1.5mm	1 kit	$376.00	$494.00

JJ498	BIOPLATE Sterile Packs	813579, 4-Hole plate and screws - 1.5mm	1 kit	$330.00	$400.00

JJ505	BIOPLATE Sterile Packs	813586, X-plate and Screws - 1.9mm	1 kit	$410.00	$512.00

JJ506	BIOPLATE Sterile Packs	813587, Boxcar plate and screws - 1.9mm	1 kit	$330.00	$364.00

Prostheses List by Category, Groups and Sponsor	Page 714 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Biomet Australia Pty Ltd

BH001	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	4 - 7 hole	$200.00	$304.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC550	Macropore	Rectangle Plates	4-8 hole	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC553	Macropore	Oblong Plates	6 - 8 hole	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC562	Macropore	Y Plates	7 hole	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC563	Macropore	Straight Plates	4 hole	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST517	Stryker Leibinger Resorbable Fixation System	Resorbable plate: box shape  Tripolymer	2x2 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST524	Stryker Leibinger Resorbable Fixation System	Resorbable plate: Y-shape Tripolymer	6 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY504	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick, 4 to 7 holes	$200.00

Resorbable, Complex - Orbital

Biomet Australia Pty Ltd

BI924	Lactosorb Resorbable Craniomaxillofacial Fixation System	Orbital Floor Plate, 1.5mm System, PGA/PLA	Left or right	$615.00	$750.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable, Complex-Orbital

Synthes Australia Pty Ltd

SY391	PolyMax Resorbable Fixation System	1.5/2.0 Orbital Floor Plate	S, M, L	$615.00

Prostheses List by Category, Groups and Sponsor	Page 715 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resprbable

Biomet Australia Pty Ltd

BI990	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	4 - 7 hole	$200.00	$360.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.2.3 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, 8 to 15 holes

Advanced Surgical Design & Manufacture Ltd

AE056	ASDM Bone Plates	Titanium 1.0mm MF Bone Plate	Large, Triple square plate, 4x2 holes;Curved 	$200.00

plate, 8 hole;Straight plate, 24 hole;L-shape

plate, right or left, 8 holes

AE059	ASDM Bone Plates	Titanium 1.7mm MF Bone Plate, Titanium	Large, Triple square plate, 4x2 holes;Straight 	$200.00

plate, 16 hole

Aus Systems Pty Ltd

AU005	Aus Systems Titanium Miniplates (Bone Plates)	Low profile condensed	8 hole	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

B Braun Australia Pty Ltd

BB310	Aesculap CranioPlate System/ Plate Neuro, 8 hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 8 hole 10 x 24 mm rectangular	$200.00

rectangular	biodegradable.  Consists of screws, plates.

Biomet Australia Pty Ltd

BH011	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System, Plate, All shapes  	1.2, 1.7mm Small Fragment System, Plate, All	$200.00	$248.00	Only to be funded where used in a service for

Titanium	 shapes  Titanium	which a Medicare Benefit is payable

BI631	W Lorenz Osteosynthesis System	L Plate, Left or Right, 1mm System. Titanium	5x3 hole	$200.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI641	W Lorenz Osteosynthesis System	Plate, Matrix.  1mm System, 1.5mm System. Titanium	2 x 4 hole	$200.00	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI658	W Lorenz Osteosynthesis System	Plate, Orbital. 1.5mm System, 2mm System. Titanium	8-10 hole	$200.00	$248.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI719	W Lorenz Osteosynthesis System	Neuro Sub-Temporal Plate, Titanium	medium	$200.00	$410.00

BI773	W Lorenz Osteosynthesis System	Neuro sub-temporal plate, 1.5 system, titanium	Small	$200.00	$283.00

Prostheses List by Category, Groups and Sponsor	Page 716 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI989	W Lorenz Osteosynthesis System	Plate Straight, 2mm System	8 - 15 hole	$170.00	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ213	Bioplate Bone Plate 	Titanium cranial fixation system - box car, 8 hole	1.5mm diam, 10 x 24mm	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ274	BIOPLATE Bone plate	Titanium boxcar plate, 8 hole, packaged non-sterile	1.9mm diam, 11 x 25mm	$200.00	$287.00

JJ276	BIOPLATE Bone plate	Titanium curved plate, 8 hole, packaged non-sterile	1.5mm, 30mm length	$200.00

Medical & Optical Instruments Australia Pty Ltd

MO317	Martin Miniplate Osteosynthesis System	2.0mm Low profile Straight, angled,shaped Plate Low 	0.5-0.99mm thick 8-15 hole	$200.00	$235.00	Only to be funded where used in a service for

Profile Titanium	which a Medicare Benefit is payable

MO318	Martin Miniplate Osteosynthesis System	2.0mm Low profile Straight, angled,shaped Plate Low 	0.5-0.99mm thick 8-15 hole	$235.00	Only to be funded where used in a service for

Profile Titanium	which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC678	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Universal Plate	12h	$200.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC871	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	8-15 holes	$200.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC873	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	8 - 15 hole	$200.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC876	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, T Plate	8 - 15 hole	$200.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC884	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, L Plate (Left and right configurations)	8 - 15 hole	$200.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC886	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, H Plate	8-15 hole	$200.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 717 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC892	Macropore	Oblique Plates	8 to 15 holes	$215.00	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC910	Timesh	Rigid Straight Plates	8-15 holes	$200.00	$805.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD004	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 8 hole	$200.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK258	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	10 Hole Curved Plate Upperface, malleable 	$200.00	Only to be funded where used in a service for

condensed; 10 hole Curved plate, Upperface	which a Medicare Benefit is payable

SK262	Leibinger Titanium Implant System - Universal CMF Plate	Uppeface Fixation Plates	8 Hole L Plate 90 Degree Left, Upperface; 8 	$200.00	Only to be funded where used in a service for

Hole L Plate 90 Degree Right, Upperface	which a Medicare Benefit is payable

SK265	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	6x6 Hole 3-D Plate, Upperface; 6x6 Hole 3-	$200.00	Only to be funded where used in a service for

D Plate Upperface, malleable	which a Medicare Benefit is payable

SK271	Leibinger Titanium Implant System - Universal CMF Plate	Midface Fixation Plates	10 Hole Curved Plate, Midface	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST092	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: straight plate 	2.3x8 holes	$200.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST126	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight Titanium	8 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST127	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight Titanium	12 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST131	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: straight, L-shape, right/left	8 holes	$200.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST135	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-T-shape  Titanium	9 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 718 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST136	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-T-shape  Titanium	14 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST140	Leibinger Titanium Implant System	Leibinger Micro, Micro Plus and Low Profile Bone plate: 	8 holes	$200.00	Only to be funded where used in a service for

orbital plate, curved Titanium	which a Medicare Benefit is payable

ST156	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular Titanium	8 holes, 0.55mm height	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST167	Leibinger Titanium Implant System	Leibinger Steinhauser plate: L-shape, right/left, with bar 	9 holes, 12mm bar, 0.55mm height	$200.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST171	Leibinger Titanium Implant System	Leibinger Steinhauser plate: T-shape, with bar Titanium	8 holes, 12mm bar, 0.55mm height	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST191	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: curved Titanium	8 holes, 0.55mm height	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST194	Leibinger Titanium Implant System	Leibinger Steinhauser Orbita Bone plate: curved Titanium	10 holes, 0.55mm height	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST200	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: square, 	4x2 holes, 0.55mm height	$200.00	Only to be funded where used in a service for

rectangular Titanium	which a Medicare Benefit is payable

ST203	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Zygoma Bone plate: 	4x2 holes, 0.55mm height	$200.00	Only to be funded where used in a service for

rectangular Titanium	which a Medicare Benefit is payable

ST312	Leibinger Titanium Implant System	Plate - Leibinger Low Profile Osteosynthesis System: mini, 	8 holes	$200.00	Only to be funded where used in a service for

non-compression, compression, straight, regular / extended,	which a Medicare Benefit is payable

medium / long Titanium

ST328	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, rectangular 	2x4 holes, 0.55mm profile	$200.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST334	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight titanium	8 holes, 0.55mm profile	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 719 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST338	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: L-shape, right/left Titanium	8 holes, 0.55mm profile	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST342	Leibinger Titanium Implant System	Leibinger Steinhauser Bone Plate: Y-shape  Titanium	8 holes, 0.55mm profile	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST344	Leibinger Titanium Implant System	Leibinger 3D Plating System: micro circular plate Titanium	8 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST414	Luhr Fixation System 	Luhr Pan Fixation System: ladder plate Vitallium	10 holes, 39 x 9mm	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST419	Luhr Fixation System 	Luhr Pan Fixation System: straight plate Vitallium	8 holes, 45mm	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST478	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, long Titanium	8 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST480	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: H and Y-shape nasal plate 	10, 12 holes	$200.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST518	Stryker Leibinger Resorbable Fixation System	Resorbable plate: curved plate Trypolymer	8 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP077	Plates	Micro, Midface & Mini	Quad Plate, Quad Plate - Short, Plate 8 to 15	$210.00	Only to be funded where used in a service for

holes.	which a Medicare Benefit is payable

SP082	Plates	Micro, Mini	Sub - Temporal Plates, Plates 8 to 15 Holes	$287.00	$506.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 720 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP085	Plates	Mini & Maxi	Curved Plate, 8 Hole Straight Plate; Mini : 10 	$200.00	$204.00	Only to be funded where used in a service for

Hole Straight Plate,  Extended Y Plate, Rigid 	which a Medicare Benefit is payable

10 Hole Straight Plate, 12 Hole Straight Plate,

Y Plate - 13 Hole, 12 Hole Curved Plate, 10

Hole Straight Plate; 10 Hole Curved Plate,

Straight Plate 10 Hole, Y Plate 11 hole, Plates

8 to 15 holes.

Synthes Australia Pty Ltd

SY467	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SY496	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99mm 8 - 15 holes	$200.00

3D

Surgiplas Medical

SP071	Plates	Micro, Mini, Maxi	Quad Plates, Medium 2 x 4 Hole Quad Plate, 	$210.00	$280.00	Only to be funded where used in a service for

Plates 8 to 15 holes	which a Medicare Benefit is payable

Complex

Synthes Australia Pty Ltd

SY469	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$210.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SY477	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$280.00	$580.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Complex - LeFort

Stryker Australia Pty Ltd

SK345	Leibinger Titanium Implant System - Universal CMF Plate	Le Fort 1 Plate, Right/Left	11hole, Advancement 2 - 10mm	$287.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 721 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Compression

Synthes Australia Pty Ltd

SY474	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$200.00	$500.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Stryker Australia Pty Ltd

SK288	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	8 Hole Curved Plate, Midface, locking	$210.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK290	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	2x6 Hole 3-D Plate, Midface, Locking	$210.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK293	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	8 Hole Y Plate, Midface, locking	$210.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resobable

Biomet Australia Pty Ltd

BH002	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	8 - 15 hole	$215.00	$360.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resobrable

Biomet Australia Pty Ltd

BI991	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	8 - 15 hole	$215.00	$360.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Medtronic Australasia Pty Ltd

MC547	Macropore	Z Plates	10 hole	$215.00	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC559	Macropore	L Plates	8 hole, Left & Right	$215.00	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 722 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC564	Macropore	Straight Plates	8 hole	$215.00	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST520	Stryker Leibinger Resorbable Fixation System	Resorbable plate: ladder shape plate Tripolymer	2x5 holes	$215.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST521	Stryker Leibinger Resorbable Fixation System	Resorbable plate: straight Tripolymer	14 holes	$215.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST525	Stryker Leibinger Resorbable Fixation System	Resorbable plate: Y-shape Tripolymer	8 holes	$215.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY397	PolyMax Resorbable Fixation System	1.5 Burr Hole Cover	8 Hole	$215.00	$600.00

SY505	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick, 8 to 15 holes	$215.00

7.1.3.2.4 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, 16 to 32 holes

Aus Systems Pty Ltd

AU006	Aus Systems Titanium Miniplates (Bone Plates)	Low profile	19 hole	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AU019	Aus Systems Titanium Miniplates (Bone Plates)	16 & 19 hole	0.7mm & 1mm profile	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

B Braun Australia Pty Ltd

BB317	Aesculap CranioPlate System/ Plate Neuro, 16 hole 	Cranial fixation system, internal fracture, non 	Plate Neuro, 16 hole 63mm straight	$204.00

straight	biodegradable.  Consists of screws, plates.

Biomet Australia Pty Ltd

BH012	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System, Plate, All shapes  	1.2, 1.7mm Small Fragment System, Plate, All	$204.00	$350.00	Only to be funded where used in a service for

Titanium	 shapes  Titanium	which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ278	BIOPLATE Bone plate	Titanium cranial straight plate, 16 hole, packaged non-sterile	1.5mm and 1.9mm diam, 63 - 86 length	$204.00

Prostheses List by Category, Groups and Sponsor	Page 723 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO284	Martin Miniplate Osteosynthesis System	2.0mm Systrem low profile	0.5-0.99mm thick 16-32 hole	$204.00	$320.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC874	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	16-32 hole	$204.00	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC911	Timesh	Rigid Straight Plates	16-32 holes	$204.00	$805.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD005	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 16 hole	$204.00	Only to be funded where used in a service for

2000 Reconstruction System	which a Medicare Benefit is payable

MD041	Mondeal Medical Systems Implant & Prostheses, Mini 	Plate	Straight 16 hole, Y Shape	$204.00	Only to be funded where used in a service for

1700 Reconstruction System	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK255	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	24 Hole Straight Plate Upperface, malleable 	$204.00	Only to be funded where used in a service for

condensed; 24 Hole Straight Plate Upperface	which a Medicare Benefit is payable.

SK257	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	18 Hole Straight, Upperface, Malleable	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

SK266	Leibinger Titanium Implant System - Universal CMF Plate	Upperface Fixation Plates	10x10 Hole 3-D plate Upperface, malleable; 	$204.00	Only to be funded where used in a service for

10x10 Hole 3-D plate, Upperface	which a Medicare Benefit is payable

SK269	Leibinger Titanium Implant System - Universal CMF Plate	Midface Fixation Plates	24 Hole Straight Plate Midface, malleable 	$204.00	Only to be funded where used in a service for

condensed; 20 Hole Straight Plate Midface, 	which a Medicare Benefit is payable

malleable; 24 Hole Straight Plate Midface

ST102	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: bridging, plate, 	2.7mm, 17 holes	$204.00	Only to be funded where used in a service for

straight Titanium	which a Medicare Benefit is payable

ST128	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight Titanium	16 holes	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 724 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST129	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight Titanium	24 holes	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST157	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular Titanium	16 holes, 0.55mm height	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST158	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular Titanium	30 holes, 6mm bar, 0.55mm height	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST159	Leibinger Titanium Implant System	LeibingerSteinhauser plate: regular Titanium	30 holes, 6mm bar, 0.55mm height	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST201	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: square, 	4x4 holes, 0.55mm, 0.55mm height	$204.00	Only to be funded where used in a service for

rectangular Titanium	which a Medicare Benefit is payable

ST202	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: square, 	6x4 holes, 0.55mm height	$204.00	Only to be funded where used in a service for

rectangular Titanium	which a Medicare Benefit is payable

ST329	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, rectangular 	4x4 holes, 0.55mm profile	$204.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST330	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, rectangular 	4x6 holes, 0.55mm profile	$204.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST335	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight titanium	16 holes, 0.55mm profile	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST336	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight titanium	24 holes, 0.55mm profile	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST401	Luhr Fixation System 	Luhr Micro Fixation System: micro straight plate Vitallium	22 holes, 90mm	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST420	Luhr Fixation System 	Luhr Pan Fixation System: straight plate Vitallium	16 holes, 93mm	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 725 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST479	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, regular Titanium	16 holes	$204.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP083	Plates	Mini & Maxi	16 & 18 Hole Straight Plate, 18 Hole Straight 	$204.00	Only to be funded where used in a service for

Plate, Plates 15 to 32 Holes	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY495	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99mm 16 - 32 holes	$204.00

Complex - Burr

Medtronic Australasia Pty Ltd

MC869	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Plate	Ohata Kerf Cover, 5 - 32 hole	$430.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK355	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the fixation of cranial 	Small, large, 20mm burr hole, 16 hole without 	$430.00	Only to be funded where used in a service for

bone flaps	bar	which a Medicare Benefit is payable

Compression

Synthes Australia Pty Ltd

SY476	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 15 to 32 holes	$312.00	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Stryker Australia Pty Ltd

SK287	Leibinger Titanium Implant System - Universal CMF Plate	Mid-Face Fixation Plates, Locking	16 Hole Straight Plate, Midface, locking	$312.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH003	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	16-32 hole	$220.00	$380.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 726 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI992	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	16 - 32 holes-	$220.00	$380.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC565	Macropore	Straight Plates	20 hole	$220.00	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY513	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick,15 to 32 holes	$220.00

7.1.3.2.5 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, >32 holes

Johnson & Johnson Medical Pty Ltd

JJ255	BIOPLATE Biomesh	Titanium, lattice, 48 hole, packaged non-sterile	32 x 44mm	$300.00	$670.00

Surgiplas Medical

SP081	Plates	Micro, Mini	40 Hole Straight Plate, Mesh 18 row, Plate 	$300.00	$506.00	Only to be funded where used in a service for

>32 holes.	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY466	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm > 32 holes	$300.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH004	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	>32 hole	$380.00	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI993	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	32+ holes-	$380.00	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY514	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick,> 32 holes	$380.00

Prostheses List by Category, Groups and Sponsor	Page 727 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.3.3.1 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, <4 holes

Medical & Optical Instruments Australia Pty Ltd

MO054	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	2 hole, 1mm profile	$115.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST497	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating System: 	2 holes	$115.00	Only to be funded where used in a service for

straight bridging plate Titanium	which a Medicare Benefit is payable

ST498	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating System: 	3 holes	$115.00	Only to be funded where used in a service for

straight bridging plate Titanium	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY317	AO/ASIF Plate	Titanium Plate - straight	1.6mm Profile, 2-4 holes	$115.00

Resorbable

Synthes Australia Pty Ltd

SY506	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, <4 holes	$220.00

7.1.3.3.2 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, 4 to 7 holes

Advanced Surgical Design & Manufacture Ltd

AE063	ASDM Bone Plates	Titanium 2.2mm MF Bone Plate, Titanium	Small, Straight plate, 8-14mm, 4 holes;Curved	$165.00

plate, 11mm, 4 holes

AE064	ASDM Bone Plates	Titanium 2.2mm MF Bone Plate, Titanium	Medium, Straight plate, 8-14mm, 6 holes	$165.00

AE065	ASDM Bone Plates	Titanium 2.2mm MF Bone Plate, Titanium	Large, Straight plate, 11mm, 8 holes;Straight 	$165.00

plate, 14 holes;Angled plate, 6 holes

Aus Systems Pty Ltd

AU002	Aus Systems Titanium Miniplates (Bone Plates)	Low profile 2 & 4 hole	Short, medium, long	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 728 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AU007	Aus Systems Titanium Miniplates (Bone Plates)	Low profile pre-shaped - Square, T, L, Y, Y Double & X	Short, medium, Long, 4 & 5 hole	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AU018	Aus Systems Titanium Miniplates (Bone Plates)	Strip plates, Titanium (M10 series)	1mm profile, 4 holes	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AU022	Aus Systems Titanium Miniplates (Bone Plates)	Pre-shaped - L	Small, Medium, Long	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AU055	Aus Systems Titanium Miniplates (Bone Plates)	Pre-shaped - T, T Double, Y	Small, Medium, Long, 4 & 5 hole	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AU056	Aus Systems Titanium Miniplates (Bone Plates)	Pre-shaped - Y Double	Small, Medium, Long	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Biomet Australia Pty Ltd

BH008	W Lorenz Osteosynthesis System	2.3mm Small Fragment System` Plate, all shapes, Titanium	2.3mm Small Fragment System` Plate, all 	$165.00	$248.00	Only to be funded where used in a service for

shapes, Titanium	which a Medicare Benefit is payable

BH026	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular System, Titanium	4 - 7 hole	$165.00	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BH028	Manibular Fracture System	Plates, matrix shape, 2.0 mandibular system. Titanium	4 or 6 hole	$165.00	$207.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI385	W Lorenz Osteosynthesis System	Plate 2mm System	4-7 hole	$165.00	$629.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI755	Mandibular Fracture System	Plates, Y Shapek, 2.0 Mandibular Fracture System, Titanium	5 hole long, 5 hole medium, 5 hole regular	$165.00	$210.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI761	Mandibular Fracture System	Plates, V Shape, 2.0 Mandibular Fracture System, Titanium	6 hole	$165.00	$200.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI764	Mandibular Fracture System	Plates, 2.0 / 2.4 Mandibular Fracture System, Titanium	4-7 hole	$165.00	$373.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 729 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO282	Martin Mandibular Fracture System	2mm Straight, angled,shaped Plate Titanium	4-7 hole	$165.00	Only to be funded where used in a service for

1.0 to 1.99mm thick	which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC514	TiMesh	Mandibular Angle, Left/Right	One size only	$165.00	$1,010.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC517	TiMesh	Mandibular "J" Plate	One size only	$165.00	$400.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK134	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Mini Plate, 4-6 holes 	$165.00	Only to be funded where used in a service for

Mini Plate	fractures and tumour resection.	with/without Bar	which a Medicare Benefit is payable.

ST446	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight Titanium	4 hole x 35mm	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST447	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 45 deg plate Titanium	4 holes, 40mm	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST448	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 45 deg Titanium	4 holes, 50mm	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST452	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: angled, 60 deg 	6 holes	$165.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST481	Wurzburg Bone Plates	Wurzburg Bone plate: double-T-shape,  with/without bar, 	4, 6 holes	$165.00	Only to be funded where used in a service for

90 deg, regular/short Titanium	which a Medicare Benefit is payable

ST482	Wurzburg Bone Plates	Wurzburg Bone plate: double-Y-shape , with/without bar,  	6, 8 holes	$165.00	Only to be funded where used in a service for

short/long/long extended Titanium	which a Medicare Benefit is payable

ST483	Wurzburg Bone Plates	Wurzburg Bone plate: double-Y-shape, no bridge Titanium	7 holes	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 730 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST484	Wurzburg Bone Plates	L-shape, right/left, Titanium	4 - 5 holes	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST486	Wurzburg Bone Plates	Wurzburg Bone plate: T-shape, with/without bar, 90 deg, 	5, 6 holes	$165.00	Only to be funded where used in a service for

regular/long Titanium	which a Medicare Benefit is payable

ST487	Wurzburg Bone Plates	Wurzburg Bone plate: T-shape, long, 80 deg, long, right/left	5 holes	$165.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST488	Wurzburg Bone Plates	Wurzburg Bone plate: Y-shape plate, regular/long Titanium	5 holes	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST489	Wurzburg Bone Plates	Wurzburg Bone plate: Z-shape plate, 100/110 deg, 	4 holes	$165.00	Only to be funded where used in a service for

right/left Titanium	which a Medicare Benefit is payable

ST491	Wurzburg Bone Plates	Leibinger 3D Plating System: square Titanium	2x2 holes	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST492	Wurzburg Bone Plates	Leibinger 3D Plating System: rectangular Titanium	2x2 holes, 1mm thick	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST493	Wurzburg Bone Plates	Leibinger 3D Plating System:  square Titanium	3x2 holes, 1mm thick	$165.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST500	Wurzburg Bone Plates	Wurburg Mandibular Reconstruction Plating System: 	5 holes	$165.00	Only to be funded where used in a service for

straight bridging plate Titanium	which a Medicare Benefit is payable

ST501	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating System: 	6 holes	$165.00	Only to be funded where used in a service for

straight bridging plate Titanium	which a Medicare Benefit is payable

ST502	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating System: 	7 holes	$165.00	Only to be funded where used in a service for

straight  Titanium	which a Medicare Benefit is payable

3D

Surgiplas Medical

SP073	Plates	Micro, Midface, Mini, BSSO, TR BSSO	2 x 3 Hole Quad Plate, Plate 4 to 7 holes.	$185.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 731 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Complex

Stryker Australia Pty Ltd

SK131	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Fracture Plate, C-shaped,	$350.00	Only to be funded where used in a service for

Fracture Plate	fractures and tumour resection.	 4 holes	which a Medicare Benefit is payable.

SK132	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Fracture Plate, Angled 	$350.00	Only to be funded where used in a service for

Fracture Plate	fractures and tumour resection.	Shaped, 6 holes, 115-140 deg	which a Medicare Benefit is payable.

Complex - Chin

Medical & Optical Instruments Australia Pty Ltd

MO224	Martin Fixation Device Internal - Plate	Lindorf chin plate. 1.0 0 1.99 thick. 4 - 7 hole	1.5mm diameter system	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP018	Plates	Micro, Midface, Mini & Maxi	Chin Plate 2, 3, 4, 6, 8, 10 & 12mm, Plates 4 	$350.00	Only to be funded where used in a service for

to 7 holes.	which a Medicare Benefit is payable

Complex - Condylar

Stryker Australia Pty Ltd

SK389	Universal System	Condylar Prosthesis	Left/Right	$990.00

Compression

Biomet Australia Pty Ltd

BI754	Mandibular Fracture System	Plates, Compression, 2.0 Mandibular Fracture System, 	4 hole	$295.00	$350.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

BI756	Mandibular Fracture System	Plates, Compression, 2.0 Mandibular Fracture System, 	4-6 hole	$295.00	$320.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK129	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Compression Plate, 4-6 	$295.00	Only to be funded where used in a service for

Compression Plate	fractures and tumour resection.	Holes	which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 732 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP028	OsteoMed Plating & Fixation System	Plates - Fracture	4 hole Fracture Plate 32 -37mm; EDC Plate 	$295.00	Only to be funded where used in a service for

32mm & 34mm	which a Medicare Benefit is payable.

SP034	OsteoMed Plating & Fixation System	Compression Plates - Maxi	Maxi: 4, 5 & 6 Hole Straight Plate	$295.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Synthes Australia Pty Ltd

SY498	CMF fracture or reconstruction plate	Mandible Plate, non-locking	1.0 to 1.99mm thick, 4 to 7 holes	$295.00	$720.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Stryker Australia Pty Ltd

SK133	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Fracture Plate, 4-6 holes 	$470.00	Only to be funded where used in a service for

Fracture Plate	fractures and tumour resection.	with/without Bar	which a Medicare Benefit is payable.

SK144	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible 3D Plate, 4 x 2 Hole 	$470.00	Only to be funded where used in a service for

3D Plate	fractures and tumour resection	Square	which a Medicare Benefit is payable.

SK145	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible 3D Plate, 3 x 2 Hole 	$470.00	Only to be funded where used in a service for

3D Plate	fractures and tumour resection	Rectangle	which a Medicare Benefit is payable.

Surgiplas Medical

SP027	OsteoMed Plating & Fixation System	Plates - Fracture	8 Hole Fracture Plate, 4 & 6 hole locking 	$470.00	Only to be funded where used in a service for

fracture plate.	which a Medicare Benefit is payable.

Synthes Australia Pty Ltd

SY486	CMF fracture or reconstruction plate	Titanium mandible locking plate - complex	1.0 to 1.99mm 4 to 7 holes	$470.00	$540.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SY491	CMF fracture or reconstruction plate	Titanium Mandibular locking reconstruction plates - 	1.0 to 1.99 4 to 7 holes	$470.00	$1,030.00	Only to be funded where used in a service for

complex shape	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 733 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO185	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable straight plate	4 - 8 hole	$260.00	$360.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST519	Stryker Leibinger Resorbable Fixation System	Resorbable plate: L-shape plate, 110 deg, right/left 	7 holes	$260.00	Only to be funded where used in a service for

Tripoymer	which a Medicare Benefit is payable

Surgiplas Medical

SP102	Bioresorbable Fixation System	Plates	L Plate Left & Right, "T" Plate, Double "Y" 	$260.00	$340.00	Only to be funded where used in a service for

Plate Short, 4 Hole straight Plate, Square 	which a Medicare Benefit is payable

Plate, Plates 4 to 7 holes

Synthes Australia Pty Ltd

SY507	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, 4 to 7 holes	$260.00

Resorbable, Complex

Medtronic Australasia Pty Ltd

MC567	Macropore	Clover Leaf Plates	4 hole	$260.00	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.3.3 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, 8 to 15 holes

Biomet Australia Pty Ltd

BH009	W Lorenz Osteosynthesis System	2.3mm Small Fragment System, Plate, All shapes  Titanium	8-15 hole	$450.00	$600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BH027	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular System, Titanium	8 hole	$450.00	$600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BH029	Mandibular Fracture System	Plates, matrix shape, 2.0 mandibular system. Titanium	8 to 16 hole	$450.00	$600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 734 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI767	Mandibular Fracture System	Plates, Straight, 2.0 Mandibular Fracture System, Titanium	8-15 hole	$450.00	$600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO313	Martin Mandibular Fracture System	2.0mm and 2.3mm titanium plates	8-15 hole            1.0 - 1.99mm thick	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO314	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable straight 	8-15 hole 1.0 - 1.99mm thick	$320.00	$480.00	Only to be funded where used in a service for

plate angled shaped	which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC522	TiMesh	Curved Plate:  Standard, Rigid, Left, Right	1mm x 12 holes	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

ST449	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight Titanium	8 holes, 60mm	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST450	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight Titanium	8 holes, 70mm	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST494	Wurzburg Bone Plates	Leibinger 3D Plating System:  square, rectangular Titanium	4x2 holes, 1mm thick	$450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST507	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating System: total 	9 holes	$450.00	Only to be funded where used in a service for

mandible bridging plate Titanium	which a Medicare Benefit is payable

Surgiplas Medical

SP086	Plates	Mini & Maxi	12 Hole Straight Plate 1.0 mm thick, 8 Hole 	$450.00	Only to be funded where used in a service for

Straight Plate 1.0 mm thick, Plates 8 to 15 	which a Medicare Benefit is payable

holes

Complex - LeFort

Medical & Optical Instruments Australia Pty Ltd

MO023	Martin Microplate Osteosynthesis System	Lindorf Plate	0 to11mm	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 735 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking

Stryker Australia Pty Ltd

SK130	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Fracture Plate, 14 Holes	$645.00	Only to be funded where used in a service for

Fracture Plate	fractures and tumour resection.	which a Medicare Benefit is payable.

SK139	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible 3D Plate, (Full), 6 x 2 	$645.00	Only to be funded where used in a service for

3D Plate	fractures and tumour resection.	Hole, Curved, Square	which a Medicare Benefit is payable.

Synthes Australia Pty Ltd

SY487	CMF fracture or reconstruction plate	Titanium mandible locking plate	1.0 to 1.99mm 8 to 15 holes	$645.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SY492	CMF fracture or reconstruction plate	Titanium Mandibular locking reconstruction plates - 	1.0 to 1.99mm 8 to 15 holes	$645.00	$1,200.00	Only to be funded where used in a service for

complex shape	which a Medicare Benefit is payable

Resorbable

Medtronic Australasia Pty Ltd

MC566	Macropore	C Plates	8 hole	$320.00	$550.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP103	Bioresorbable Fixation System	Plates	Y Plate Long, 8 Hole straight Plate, Plates 8 	$320.00	$340.00	Only to be funded where used in a service for

to 15 holes	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY508	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, 8 to 15 holes	$320.00

Resorbable, Complex

Surgiplas Medical

SP104	Bioresorbable Fixation System	Plates	Orbital Plate, Plates 8 to 15 holes	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 736 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable, Complex - Orbital

Medical & Optical Instruments Australia Pty Ltd

MO186	Martin Level One Fixation Resorb x & SonicWeld	Plate PDLLA (resorbable)	1.0 to 1.99mm thick,8 to 15 holes	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.3.4 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, 16 to 32 holes

Biomet Australia Pty Ltd

BI762	Mandibular Fracture System	Plates, 2.4 Mandibular Fracture System, Titanium	16 - 24 Hole	$770.00	$1,000.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO295	Martin Level One Fixation	Plate Titanium	1.0 to 1.99mm thick, 16 to 32 holes	$770.00

Stryker Australia Pty Ltd

ST451	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight Titanium	16 holes, 120mm	$770.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST495	Wurzburg Bone Plates	Leibinger 3D Plating System: rectangular Titanium	4x4 holes, 1mm thick	$770.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST496	Wurzburg Bone Plates	Leibinger 3D Plating System:  square, rectangular Titanium	6x4 holes, 1mm thick	$770.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP067	Plates	Micro, Mini, Maxi	16 Hole Straigh Plate, 1.0mm thinck, Plate 15	$770.00	Only to be funded where used in a service for

to 32 holes	which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY493	CMF fracture or reconstruction plate	Titanium Mandibular locking reconstruction plates - 	1.0 to 1.99 15 to 32 holes	$818.00	$1,400.00	Only to be funded where used in a service for

complex shape	which a Medicare Benefit is payable

3D

Medical & Optical Instruments Australia Pty Ltd

MO294	Martin Mandibular Fracture System	Pre-Formed 3 D Titanium Mandibular Reconstruction Plate	2.3mm angled, symphysis and straight plate; 	$818.00	$992.00

16-32 holes

Prostheses List by Category, Groups and Sponsor	Page 737 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking

Stryker Australia Pty Ltd

SK135	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Mini Plate, 16 holes	$818.00	Only to be funded where used in a service for

Mini Plate	fractures and tumour resection.	which a Medicare Benefit is payable.

SK136	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Primary Reconstruction 	$818.00	Only to be funded where used in a service for

Primary Reconstruction Plate	fractures and tumour resection.	Plate, (Hemi) Left and Right 5+17 holes, with 	which a Medicare Benefit is payable.

template

SK137	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Primary Reconstruction 	$818.00	Only to be funded where used in a service for

Primary Reconstruction Plate	fractures and tumour resection.	Plate, 11-17 holes, with template	which a Medicare Benefit is payable.

SK143	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Reconstruction Plate, 	$818.00	Only to be funded where used in a service for

Reconstruction Plate	fractures and tumour resection	(Full), 6 + 15 + 6 holes, with template	which a Medicare Benefit is payable.

SK296	Leibinger Titanium Implant System - Universal CMF Plate	Mandible Plates	4 hole 2.3mm Compression Plate; 6 Hole 	$818.00	Only to be funded where used in a service for

2.3mm Compression Plate	which a Medicare Benefit is payable

SK298	Leibinger Titanium Implant System - Universal CMF Plate	Mandible Plates	4-6 Hole, Straight Plate, with/without bar, 	$818.00	Only to be funded where used in a service for

locking	which a Medicare Benefit is payable

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO293	Martin Mandibular Fracture System	1.5/2.0mm System Straight  angled, shaped Plate Titanium	16-32  hole         1.0-1.99mm thick	$345.00	$770.00

Synthes Australia Pty Ltd

SY509	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, 15 to 32 holes	$345.00

SY510	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick,15 to 32 holes	$345.00

7.1.3.3.5 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, >32 holes

Surgiplas Medical

SP099	Bioresorbable Fixation System	Plates	Comminution Plate, Plates 1.0 to 1.99mm 	$420.00	$644.00	Only to be funded where used in a service for

thick, >32 holes	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 738 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Synthes Australia Pty Ltd

SY511	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick,> 32 holes	$420.00

7.1.3.4.2 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, 4 to 7 holes

Compression

Synthes Australia Pty Ltd

SY499	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 4 to 7 holes	$720.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Biomet Australia Pty Ltd

BI450	Lorenz 2.4mm Locking Reconstruction System	Plate, low profile. Curved. 2.4mm System. Titanium	4-7 hole	$620.00	$900.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH005	Lorenz 2.4mm Locking Reconstruction System	Plate, Straight, 2.4mm System, Locking. Titanium	4-7 hole	$620.00	$900.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.4.3 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, 8 to 15 holes

Compression

Synthes Australia Pty Ltd

SY497	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 8 to 15 holes	$780.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Biomet Australia Pty Ltd

BI447	Lorenz 2.4mm Locking Reconstruction System	Plate, Curved, Std Thickness, 2.4mm System, Titanium	8 or 15 hole	$490.00	$950.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 739 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK140	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Reconstruction Plate, 11 -	$490.00	Only to be funded where used in a service for

Reconstruction Plate	fractures and tumour resection.	 17 holes, straight with template	which a Medicare Benefit is payable.

Resorbable

Biomet Australia Pty Ltd

BH006	Lorenz 2.4mm Locking Reconstruction System	Plate, Straight, 2.4mm System, Locking. Titanium	8 - 15 hole	$490.00	$950.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.4.4 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, 16 to 32 holes

Compression

Synthes Australia Pty Ltd

SY500	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 15 to 32 holes	$900.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Biomet Australia Pty Ltd

BI448	Lorenz 2.4mm Locking Reconstruction System	Plate, curved, std or low profile, 2.4mm system, titanium	16-32 hole	$1,100.00	$1,500.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI452	Lorenz 2.4mm Locking Reconstruction System	Plate, curved. Std or low profile, 2.4mm System, Titanium	16 hole	$1,100.00	$1,300.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI455	Lorenz 2.4mm Locking Reconstruction System	Plate, Double Angled, 2.0 or 2.4mm System, Titanium	5 x (22 or 24) x 5 hole	$1,100.00	$1,600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK138	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Reconstruction Plate, 	$1,100.00	Only to be funded where used in a service for

Reconstruction Plate	fractures and tumour resection.	(Full), 6 + 13 + 6 holes, with template	which a Medicare Benefit is payable.

SK141	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Reconstruction Plate, 	$1,100.00	Only to be funded where used in a service for

Reconstruction Plate	fractures and tumour resection	(Hemi), Right and Left, 6 + 17 holes with 	which a Medicare Benefit is payable.

template

SK142	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction and fixation of mandibular 	Universal Mandible Reconstruction Plate, 	$1,100.00	Only to be funded where used in a service for

Reconstruction Plate	fractures and tumour resection	(Full), 6 + 17 + 6 holes, with template	which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 740 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP026	OsteoMed Plating & Fixation System	Plates - Fracture	Rigid Comminuted Fracture Plate	$1,100.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Synthes Australia Pty Ltd

SY471	CMF fracture or reconstruction plate	Titanium mandibular locking reconstruction plates	2.0 to 2.99mm 15 to 32 holes	$1,100.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH007	Lorenz 2.4mm Locking Reconstruction System	Plate, Straight, 2.4mm System, Locking. Titanium	16-32 hole	$1,100.00	$1,500.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.4.5 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, >32 holes

Locking

Synthes Australia Pty Ltd

SY472	CMF fracture or reconstruction plate	Titanium mandibular locking reconstruction plates	2.0 to 2.99mm > 32 holes	$1,450.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.3.5.3 CMF Fracture or Reconstruction Plate, =>3mm thick, 8 to 15 holes

locking

Medical & Optical Instruments Australia Pty Ltd

MO002	Martin Mandibular Fracture System	2.7mm Threadlock System, angled and straight plates, 	=>3mm thick, 2.7mm threadlock system	$630.00	Only to be funded where used in a service for

titanium	which a Medicare Benefit is payable

7.1.3.5.4 CMF Fracture or Reconstruction Plate, =>3mm thick, 16 to 32 holes

Compression

Synthes Australia Pty Ltd

SY501	CMF fracture or reconstruction plate	Mandible Plate, non-locking	>3mm thick, 15 to 32 holes	$1,350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 741 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking

Medical & Optical Instruments Australia Pty Ltd

MO004	Martin Mandibular Fracture System	Threadlock 2.7mm System, angled and straight plates	16 - 32 hole =>3mm thick, 2.7mm threadlock	$1,420.00	Only to be funded where used in a service for

system	which a Medicare Benefit is payable

7.1.4 Screw, CMF and Small fragment

7.1.4.1 Bone Reconstruction and Fixation,General,Screw,CMF and Small fragment, diameter <1.24mm

Advanced Surgical Design & Manufacture Ltd

AE007	MF-Cortex Screw	Titanium	1.0 - 2.7mm dia,  length 2 - 40mm	$70.00

Biomet Australia Pty Ltd

BH013	W Lorenz Osteosynthesis System	Small Fragment Titanium System, Titanium	Screw, 1.2mm diameter, 1.4mm diameter	$70.00	$80.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI681	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	1.0mm x (2 - 7) mm	$70.00	$80.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO287	Martin Level One Fixation	Screw Titanium	diameter <1.24mm	$70.00	$75.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC574	Timesh	X-Drive Screws	2 - 15mm	$70.00	$76.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC879	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Cruciate Head, 12 point Flat Head	Diameter <1.24mm	$70.00	$76.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD066	Mondeal Medical Systems Implant & Prostheses	Screw 1000/1200	Cross Fit, Lock Drive 3mm - 15mm	$70.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 742 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK299	Leibinger Screw (Various) - Universal CMF Screws	1.2mm Diameter, 3-12mm Length; 1.4mm 	$70.00	Only to be funded where used in a service for

Diameter 3-9mm Length	which a Medicare Benefit is payable

SK300	Leibinger Screw (Various) - Universal CMF Screws	Self Drilling, 1.2mm Diameter, 3-4mm Length	$70.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST110	Stryker Leibinger Plating System	Micro Self Tapping Screws	1.0 - 1.4mm Diameter, 2 - 12mm Lengths	$70.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST408	Luhr Fixation System 	Luhr Micro Fixation System: emergency screws Vitallium	1.0x2-6mm	$70.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST444	Luhr Fixation System 	Luhr Mini/ Pan Fixation System: emergency and standard 	3-20mm. Pack of 6	$70.00	Only to be funded where used in a service for

screws Vitallium	which a Medicare Benefit is payable

Surgiplas Medical

SP088	Screws	Micro, Maxi & Self Drilling	"Size1.2mm self-drilling screws, 1.2mm x (2	$70.00	Only to be funded where used in a service for

- 14)mm, Screws diameter < 1.24mm"	which a Medicare Benefit is payable

Compression

Surgiplas Medical

SP031	OsteoMed Plating & Fixation System	Lag Screws - Micro, Mini	1.2mm x (6 - 16)mm; 1.6mm x (10-12)mm; 	$80.00	Only to be funded where used in a service for

2.0mm x (8 - 22)mm;	which a Medicare Benefit is payable.

Fixation Device, Internal, Screw

Australian Surgical Innovations Pty Ltd

AI007	ASI Plates and Screws	Screw	Width 1.0 - 3.0mm. Length 3.0 - 25mm	$70.00	$77.00

7.1.4.2 Bone Reconstruction and Fixation,General,Screw,CMF and Small fragment, diameter 1.25-1.74mm (1.5mm)

Aus Systems Pty Ltd

AU043	Aus Systems Titanium Bone Screws 	Screws 1.5mm & 1.8mm diameter	3mm - 11mm length	$43.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 743 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

B Braun Australia Pty Ltd

BB316	Aesculap CranioPlate System/Screws Neuro, self-	Cranial fixation system, internal fracture, non 	screws neuro, self drilling, magazine of 8, 	$43.00

drilling, 1.5 x 3, 4 & 5mm	biodegradable.  Consists of screws, plates.	1.5mm x 3, 4 & 5 mm lengths

Biomet Australia Pty Ltd

BH014	W Lorenz Osteosynthesis System	Small Fragment Titanium System. Titanium	Screw, 1.7mm diameter	$43.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BH020	W Lorenz Osteosynthesis System	Bone Screw, Cross Drive or Centre Drive. Titanium	1.5mm dia x (3.5 - 17)mm	$43.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI733	W.Lorenz Osteosynthesis System	Bone Screw, Self Drilling, Cross Drive, Titanium	1.5 mm (dia) x 6.0, 7.0mm [lengths]	$43.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI734	W.Lorenz Osteosynthesis System	Bone Screw, Self Drilling, Cross Drive, Titanium	1.5 mm (dia) x 3.5, 4.0, 5.0mm, [lengths]	$43.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ201	Bioplate Bone Screw 	Titanium cranial fixation system	1.5mm diam, 3-10 6mm length; pack of 5	$43.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ248	BIOPLATE Bone screw	Titanium alloy self-drilling screw, 5 per pack, packaged 	Dia 1.5mm, length 3 - 5mm	$43.00

non-sterile

JJ252	BIOPLATE Bone screw	Titanium alloy long screw, 1 per pack, packaged non-sterile	Dia 1.5mm, length 3, 4, 5, 6, 8, 10mm	$43.00

JJ534	BIOPLATE Low Profile	Low Profile Titanium Screw	1.5mm diam, 3-5mm length	$43.00

Medical & Optical Instruments Australia Pty Ltd

MO288	Martin Level One Fixation	Screw Titanium	diameter 1.25 to 1.74mm	$43.00	$78.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC880	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Cruciate Head, 12 point Flat Head	Diameter 1.25 - 1.74mm	$43.00	$90.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC904	Timesh	Internal Drive Screws	Diameter 1.5mm	$43.00	$90.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 744 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mondeal Medical Systems Pty Ltd

MD051	Mondeal Medical Systems Implant & Prostheses	Screw 1700	Cross Fit, Lock Drive 3mm - 17mm	$43.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK301	Leibinger Screw (Various) - Universal CMF Screws	1.7mm Diameter, 3-12mm Length; 1.9mm 	$43.00	Only to be funded where used in a service for

Diameter, 3-9mm Length	which a Medicare Benefit is payable

SK302	Leibinger Screw (Various) - Universal CMF Screws	Self Drilling, 1.7mm Diam; 3-6mm Length	$43.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

SK362	Universal Neuro Screws	Titanium screws used for the fixation of cranial bone flaps	Diameter 1.5mm, length 4-6mm. Emergency 	$43.00	Only to be funded where used in a service for

Screws: Diameter 1.7mm, length 4mm.	which a Medicare Benefit is payable

SK457	Maxillo-Mandibular Fixation Screw	MMF Screw, Self Drilling, Stainless Steel	Dia 1.7mm/2.0mm, Length 2mm to 20mm	$43.00

ST111	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square fit, self-	1.7x3-12mm	$43.00	Only to be funded where used in a service for

tapping Titanium 	which a Medicare Benefit is payable

ST148	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-tapping 	1.4x3mm, 1.4x5mm	$43.00	Only to be funded where used in a service for

Titanium 	which a Medicare Benefit is payable

ST149	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-tapping 	1.4x7mm, 1.4x9mm	$43.00	Only to be funded where used in a service for

Titanium 	which a Medicare Benefit is payable

ST150	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-tapping 	1.4x11mm	$43.00	Only to be funded where used in a service for

Titanium 	which a Medicare Benefit is payable

ST236	Leibinger Titanium Screws	Bone Screw, cross-fit, self-tapping	Diameter 1.7mm, Length  3mm - 38mm	$43.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP089	Screws	Micro, Maxi & Self Drilling	"Size1.6mm x (4-8)mm self-drilling 	$43.00	$49.00	Only to be funded where used in a service for

screws,1.5mm Safety ,Screws diameter  	which a Medicare Benefit is payable

1.25-1.75mm"

Prostheses List by Category, Groups and Sponsor	Page 745 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP097	Bioresorbable Fixation System	Screws	1.6 x (4-8)mm, 4 pack; Screws 1.25-1.74mm	$121.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Locking

Stryker Australia Pty Ltd

SK303	Leibinger Screw (Various) - Universal CMF Screws	Locking, 1.7mm Diameter, 4-6mm Length; 	$48.00	Only to be funded where used in a service for

Locking 1.9mm Diameter, 5mm Length	which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI994	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb, single screw (multiple screws per 	1.5mm dia	$121.00	$160.00	Only to be funded where used in a service for

pack) PGA/PLA	which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO308	Martin Level One Fixation Resorb x & SonicWeld	SonicPin PDLLA (resorbable)	diameter 1.25-1.74mm	$121.00	$200.00

Stryker Australia Pty Ltd

ST527	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	1.7x4-5mm Pack of 10	$121.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST528	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	1.7x3-6mm Pack of 2	$121.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST529	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	1.7x3-6mm Pack of 4	$121.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY502	PolyMax Resorbable Fixation System	Polyactide Resorbable Screw/Tack	1.5mm dia	$121.00

7.1.4.3 Bone Reconstruction and Fixation,General,Screw,CMF and Small fragment, diameter 1.75-2.24mm (2.0mm)

Aus Systems Pty Ltd

AU035	Aus Systems Titanium Bone Screws 	Screws 2mm & 2.3mm diameter	4mm - 15mm length	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 746 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

B Braun Australia Pty Ltd

BB314	Aesculap CranioPlate System/ Screws Neuro 	Cranial fixation system, internal fracture, non 	Screws Neuro, Emergency, self tapping, 	$40.00

Emergency, self tapping, 1.8mm x 3 & 5mm	biodegradable.  Consists of screws, plates.	magazine of 8, 1.8mm x 3 & 5mm lengths

Biomet Australia Pty Ltd

BH016	TMJ System	Screw, Cross Drive, Fossa. Titanium	2.0mm dia x (5 - 13)mm	$40.00	$75.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BH021	W Lorenz Osteosynthesis System	Bone Screw, Cross Drive or Centre Drive. Titanium	1.8mm dia x (3.5 - 17)mm	$40.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI360	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive, Std or Self Drilling; 	2.0mm x (4 - 7) mm	$40.00	$50.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

BI365	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.0mm x (9 - 19) mm	$40.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI744	Mandibular Fracture System	Screw, High Torque 2.0/2.4 Mandibular Fracture, Titanium	2.0 x (9-17)mm	$40.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI747	Mandibular Fracture System	Screw, High Torque (HT), Lag,  2.0/2.4 Mandibular 	Dia 2.0 x 19, 21.0, 23, 25, 27, 29mm  Lengths	$40.00	$60.00	Only to be funded where used in a service for

Fracture System, Titanium	which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ215	Bioplate Bio-100 Screw	Titanium cranial fixation system	1.9 mm diam; 15mm length pack of 5	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

JJ244	BIOPLATE Bone screw	Titanium alloy self-drilling screws, 5 per pack, packaged 	Dia 1.9mm, length 3 - 5mm	$40.00

non-sterile

JJ245	BIOPLATE Bone screw	Titanium alloy self-drilling screws, 5 per pack, packaged 	Dia 1.9mm, length 4mm	$40.00

non-sterile

JJ251	BIOPLATE Bone screw	Titanium alloy long screws, 5 per pack, packaged non-sterile	Dia 1.9mm, length 3, 4, 5, 6, 8, 10mm	$40.00

JJ253	BIOPLATE Bone screw	Titanium alloy emergency screws, 5 per pack, packaged 	Dia 1.8, length 6mm; Dia 2.3mm, length 5mm	$40.00

non-sterile

Prostheses List by Category, Groups and Sponsor	Page 747 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO315	Martin Miniplate Osteosynthesis System	Screw Titanium	2mm diameter, 4 to 19mm length	$40.00	$65.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO316	Martin Level One Fixation	Screw Titanium	diameter 1.75-2.24mm	$90.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC881	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Cruciate Head, 12 point Flat Head	Diameter 1.75 - 2.24mm	$40.00	$110.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC905	Timesh	Internal Drive Screws	Diameter 1.8mm	$40.00	$110.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC906	Timesh	Rescue Screws	Diameter 1.8mm	$40.00	$110.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Mondeal Medical Systems Pty Ltd

MD029	Mondeal Medical Systems Implant & Prostheses	Screw 2000	Standard 4mm - 19mm	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MD035	Mondeal Medical Systems Implant & Prostheses	Screw 2000	Cross Fit, Lock Drive 4mm - 19mm	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK151	Leibinger Screw - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Screws, 2.0mm Diameter,	$40.00	Only to be funded where used in a service for

fractures and tumour resection	 16mm-20mm Length; Universal Mandible 	which a Medicare Benefit is payable.

Screws, 2.3mm Diameter, 16mm-20mm

Length

SK153	Leibinger Screw - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Smartlock Screws, 	$40.00	Only to be funded where used in a service for

fractures and tumour resection	2.0mm Diameter, 4mm-14mm Length; 	which a Medicare Benefit is payable.

Universal Mandible Smartlock Screws,

2.3mm Diameter, 4mm-16mm Length

SK385	Universal System	Condyle Fastening Screws	One size only	$40.00

ST082	Leibinger Screws 	Leibinger IMF: cross-slot screws Titanium	2.0x8mm, 2.0x14mm, 2.0x20mm	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 748 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST083	Leibinger Screws 	Leibinger Steinhauser Screw System: cross-slot screws 	2.0x4-12mm	$40.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST084	Leibinger Screws 	Leibinger Steinhauser Screw System: cross-slot screws 	2.0x13-22mm	$40.00	Only to be funded where used in a service for

Titanium	which a Medicare Benefit is payable

ST113	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square fit, self-	1.9x5mm, 1.9x7mm	$40.00	Only to be funded where used in a service for

tapping Titanium 	which a Medicare Benefit is payable

ST114	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square fit, self-	2.0x4-19mm	$40.00	Only to be funded where used in a service for

tapping Titanium 	which a Medicare Benefit is payable

ST240	Leibinger Screws 	Leibinger Mini Wurzburg Emergency Screws Titanium	1.9 x 5mm	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST490	Wurzburg Bone Plates	Wurzburg Bone Screws: self-tapping Titanium	2x4-19mm, 2.3x7-9mm. Pack of 10	$40.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP090	Screws	Micro, Maxi & Self Drilling	"Size2.0mm x (4-8)mm self-drilling 	$40.00	$55.00	Only to be funded where used in a service for

screws,1.9mm Safety ,Screws diameter  	which a Medicare Benefit is payable

1.75-2.24mm"

SP098	Bioresorbable Fixation System	Screws	2.0 x (4-8)mm, 4 pack; Screws 1.75-2.24mm	$141.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Compression

Stryker Australia Pty Ltd

SK152	Leibinger Screw - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Lag Screws, 2.0mm 	$155.00	Only to be funded where used in a service for

fractures and tumour resection	Diameter, 24mm-42mm Length	which a Medicare Benefit is payable.

Distractor

Synthes Australia Pty Ltd

SY400	External Midface Distractor System	Fixation Screws	40-50mm	$85.00

SY403	External Midface Distractor System	Set Screw	One size only	$85.00

SY405	External Midface Distractor System	Titanium Wire Fixation Screw	15-27mm	$85.00

Prostheses List by Category, Groups and Sponsor	Page 749 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking

Stryker Australia Pty Ltd

SK149	Leibinger Screw  - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Screws, 2.0mm Dia, 4-	$90.00	Only to be funded where used in a service for

fractures and tumour resection	14mm Length; Universal Mandible Screws, 	which a Medicare Benefit is payable.

2.3mm Dia, 4-14mm Length

SK150	Leibinger Screw - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Smartlock Screws, 	$90.00	Only to be funded where used in a service for

fractures and tumour resection	2.0mm Diameter, 16mm-20mm Length; 	which a Medicare Benefit is payable.

Universal Mandible Smartlock Screws,

2.3mm Diameter, 18mm-20mm Length

Resorbable

Biomet Australia Pty Ltd

BI415	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw,  2 Pack, Endobrow, Lactosorb. PGA/PLA	2 x 5mm	$141.00	$160.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI995	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb, single screw (multiple screws per 	2.0mm dia	$141.00	$160.00	Only to be funded where used in a service for

pack) PGA/PLA	which a Medicare Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO307	Resorb x SonicWeld Rx Osteosynthesis System Bone 	SonicWeld Rx Bone Pin Screw	1.6 - 2.1mm diameter, 4 - 20mm	$141.00	$200.00

Screw/Pin

Medtronic Australasia Pty Ltd

MC626	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	1.8mm x 3-8mm	$141.00

MC631	Macropore FRP (fast resorbing polymer) screw	Polylactide and Polyglycolide polymer	2.1mm x 3-8mm	$141.00

MC901	Macropore	Screws	Diameter 1.75 - 2.24mm	$141.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY503	PolyMax Resorbable Fixation System	Polyactide Resorbable Screw/Tack	2.0/2.5mm dia	$141.00

Prostheses List by Category, Groups and Sponsor	Page 750 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.4.4 Bone Reconstruction and Fixation,General,Screw,CMF and Small fragment, diameter 2.25-2.74mm (2.5mm)

Biomet Australia Pty Ltd

BH015	W Lorenz Osteosynthesis System	Small Fragment Titanium System. Titanium	Screw 2.3mm diameter, 2.5mm diameter	$45.00	$50.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BH017	TMJ System	Screw, Cross Drive, Fossa. Titanium	2.3mm Dia x (5 - 13)mm	$45.00	$75.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI375	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.7mm x (8 - 18) mm	$45.00	$85.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI381	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.7mm x (22 - 40) mm	$45.00	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI471	Lorenz 2.4mm Locking Reconstruction System	Screw Head, Plate Locking Modular	2.4mm	$45.00	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI723	Mandibular Fracture System	Screw, High Torque 2.0/2.4 Mandibular Fracture, Titanium	2.7 x (6-20)mm	$45.00	$55.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI726	Mandibular Fracture System	Screw, High Torque (HT), Emergency, 2.0/2.4 Mandibular	Dia 2.3mm x 4.0, 5.0, 7.0, 9.0, 11.0, 13.0, 	$45.00	$50.00	Only to be funded where used in a service for

Fracture System, Titanium	15.0mm  Lengths	which a Medicare Benefit is payable

BI735	W.Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.3mm x (5 - 9) mm	$45.00	$55.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI748	Mandibular Fracture System	Screw, High Torque (HT), 2.0/2.4 Mandibular Fracture 	Dia 2.4 x 6.0mm, 8.0, 10.0, 12.0, 14.0, 16.0,	$45.00	$55.00	Only to be funded where used in a service for

System, Titanium	 18.0mm Lengths	which a Medicare Benefit is payable

BI751	Mandibular Fracture System	Screw, High Torque (HT), Lag, 2.0/2.4 Mandibular 	2.4mm Dia, 24, 28, 32, 36, 40mm Lengths	$45.00	$55.00	Only to be funded where used in a service for

Fracture, Titanium	which a Medicare Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ254	BIOPLATE Bone screw	Titanium alloy emergency screw, 1 per pack, packaged 	Dia 1.8, length 6mm; Dia 2.3mm, length 5mm	$45.00

non-sterile

Prostheses List by Category, Groups and Sponsor	Page 751 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO311	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter,  5 to 30mm length	$45.00	$75.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MO312	Martin Level One Fixation	Screw Titanium	2.25mm  - 2.74 mm diameter	$75.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC882	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Crucuate Head, 12 point Flat Head	Diameter 2.25 - 2.74mm	$45.00	$130.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC902	Macropore	Screws	Diameter 2.25 - 2.74mm	$141.00	$160.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC907	Timesh	Rescue Screws	Diameter 2.4mm	$45.00	$130.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK148	Leibinger Screw - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Screws, Emergency, 	$45.00	Only to be funded where used in a service for

fractures and tumour resection	2.7mm Diameter, 8-20mm Length	which a Medicare Benefit is payable.

ST098	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: screws Titanium	2.3x6-22mm	$45.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

ST115	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square fit, self-	2.3x6-9mm	$45.00	Only to be funded where used in a service for

tapping Titanium 	which a Medicare Benefit is payable

Surgiplas Medical

SP091	Screws	Micro, Maxi & Self Drilling	2.4mm x (4-22)mm self-drilling screws, 	$45.00	Only to be funded where used in a service for

2.7mm x (8-20)mm; 2.7mm Safety Screws, 	which a Medicare Benefit is payable

diameter 2.25-2.74mm

SP094	OsteoMed Plating & Fixation System	Screws	2.4mm x (6-22)mm Locking Screws, Screws 	$75.00	$140.00	Only to be funded where used in a service for

2.25-2.74mm	which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 752 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Locking

Biomet Australia Pty Ltd

BI457	Lorenz 2.4mm Locking Reconstruction System	Screw, Locking Reconstruction Modular. Titanium	2.4 x (6-18)mm	$75.00	$95.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI786	Lorenz 2.4mm Locking Reconstruction System	Screw, bending inserts, titanium	One size only	$75.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Stryker Australia Pty Ltd

SK147	Leibinger Screw  - Universal Mandibular Screws	Items used for reconstruction and fixation of mandibular 	Universal Mandible Smartlock Emergency 	$75.00	Only to be funded where used in a service for

fractures and tumour resection	Screws, 2.7mm Diameter, 8mm - 20mm 	which a Medicare Benefit is payable.

length

Resorbable

Biomet Australia Pty Ltd

BI996	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb,single screw (multiple screws per 	2.5mm dia	$141.00	$160.00	Only to be funded where used in a service for

pack) PGA/PLA	which a Medicare Benefit is payable

7.1.4.5 Bone Reconstruction and Fixation,General,Screw,CMF and Small fragment, diameter 2.75-3.24mm (3.0mm)

Biomet Australia Pty Ltd

BI742	TMJ System	Screw, Cross Drive Mandibular Component, Titanium	(2.7 - 3.2mm) x (8 - 12mm)	$54.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Medtronic Australasia Pty Ltd

MC571	Timesh	12 Point Screws	3 - 20mm	$54.00	$150.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC903	Macropore	Screws	Diameter 2.75 - 3.24mm	$155.00	$170.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI997	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb, single screw (multiple screws per 	2.8mm dia	$155.00	$160.00	Only to be funded where used in a service for

pack) PGA/PLA	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 753 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.5 Reconstruction material sheet, non-mesh

7.1.5.1 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-mesh, small, <50cm2

Medical Device Alliance Pty Ltd

MP023	Silicone Sheets	Sheet standard-small with reinforcement	100mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP024	Silicone Sheets	Sheet standard - large with reinforcement	200mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP025	Silicone Sheets	Sheet standard - small without reinforcement	100mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP026	Silicone Sheets	Sheet standard - large without reinforcement	200mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP027	Silicone Sheets	Sheet extra strength small	100mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP028	Silicone Sheets	Sheet extra strength large	200mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP029	Silicone Sheets	Block standard super soft	Soft, Medium, Hard	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP030	Silicone Sheets	Block coloured, single consistency, white/pink	One size only	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP031	Silicone Sheets	Block coloured, double consistency, white/pink	One size only	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP032	Suspension Sheet for Mammoplasty	Silicone sheet - textured	0.3mm, 29cm x 17cm;	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 754 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical Vision Australia Pty Ltd

MF040	Nasal Sheet (Strut).	Nasal Sheet (Strut). Model 9536	Nasal Sheet (Strut): 40 x 9 x 1.1mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Polymer

Anatomics Pty Ltd

AT051	E-POR Biomaterial/ Sheet - Porous Polyethylene	Sheet - Porous Polyethylene	30mm - 50mm x 0.4mm - 3mm	$443.00

Medical Vision Australia Pty Ltd

MF028	Micro Thin Sheet	Model/s 8438, 83020, 83022, 83029	8438: 30 x 50 x 0.4mm,  83020: 38 x 50 x 	$443.00	Only to be funded where used in a service for

0.25mm, 83022: 38 x 50 x 0.35mm, 83029: 	which a Medicare Benefit is payable

38 x 50 x 0.45mm

MF029	Ultra Thin Sheet	Porus Polyethylene. Models 7210	38 x 50 x 0.85mm	$443.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MF030	Sheet	Porus Polyethylene. Models 6330, 6331, 8662, 9562. 	Sheets 6330: 38 x 50 x 1.5mm, 6331: 50 x 	$443.00	Only to be funded where used in a service for

Micro single channel sheet, model 9528. Barrier microplate	76 x 1.5mm, 8662: 76 x 127 x 1.5mm, 9862: 	which a Medicare Benefit is payable

single channel sheet, model 9527 Medpor Titan Implant 	38 x 50 x 3mm. Microplate single channel

Sheets Plain, Barrier & Double Barrier, and Medpor Titan 	Sheet 9528: 38 x 50 x 0.85mm. Barrier

Orbital floor and wall sheets 8102	microplate single channel Sheet 9527: 38 x 50

x 0.85mm. Titan implant sheets 81020: 76 x

50 x

MF031	Barrier Sheet: Barrier Sheet - Orbital Floor	Porus Polyethylene. Barrier  sheet - Rectangle, models 	 Barrier  sheet - Rectangle: 50 x 76  x 1mm, 	$443.00	Only to be funded where used in a service for

8312 and 9312. Orbital floor implants, models 8305 and 	50 x 76 x 1.6mm: 50 x 76 x 1mm, 50 x 76 x 	which a Medicare Benefit is payable

9305	1.6mm.  Orbital Floor: 38 x 50 x 1mm, 38 x

50 x 1.6mm

MF042	Ultra Thin Sheet	Porus Polyethylene. Model 7212	50 x 76 x 0.85mm	$443.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MF045	Sheet - Multi Channel, Barrier Channel.	Porus Polyethylene. Miniplate channel sheet, model 9529. 	Miniplate channel: 40 x 52 x 2.3mm. 	$443.00	Only to be funded where used in a service for

Microplate channel sheet, model 9530. Barrier Miniplate 	Mircoplate channel: 40 x 52 x 2.3mm. Barier 	which a Medicare Benefit is payable

and Microplate Channel Sheets, Models 9531 and 9532.	Miniplate and Microplate Channel Sheets: 40

x 52 x 2.3mm, 40 x 52 x 2.3mm

Prostheses List by Category, Groups and Sponsor	Page 755 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MF046	Sheet - Barrier Single Channel Sheet.	Porus Polyethylene. Barrier Single Channel Sheet, Model 	Barrier Single Channel: 38 x 50 x 0.85mm	$443.00	Only to be funded where used in a service for

9527.	which a Medicare Benefit is payable

Resorbable

Henry Schein/Halas Pty Ltd

HD010	Bio-Gide	Bio-Gide & Bio-Gide Perio are collagen membranes 	30mm x 40mm	$345.00

containing porcine collagen in a bilayer structure.  They are

used for guided bone regeneration and peridontal tissue

regeneration in oral and maxillofacial surgery.

HD011	Bio-Gide	Bio-Gide & Bio-Gide Perio are collagen membranes 	25mm x 25mm	$345.00

containing porcine collagen in a bilayer structure.  They are

used for guided bone regeneration and peridontal tissue

regeneration in oral and maxillofacial surgery.

HD012	Bio-Gide	Bio-Gide & Bio-Gide Perio are collagen membranes 	13 x 25mm	$345.00

containing porcine collagen in a bilayer structure.  They are

used for guided bone regeneration and peridontal tissue

regeneration in oral and maxillofacial surgery.

HD013	Bio-Gide Perio	Bio-Gide & Bio-Gide Perio are collagen membranes 	Bio-Gide perio - 16mm x 22mm	$345.00

containing porcine collagen in a bilayer structure.  They are

used for guided bone regeneration and peridontal tissue

regeneration in oral and maxillofacial surgery.

Medical & Optical Instruments Australia Pty Ltd

MO302	Martin Level One Fixation Resorb x & SonicWeld	Reconstruction sheet not mesh PDLLA (resorbable)	25x25mm-0.1mm	$345.00	$550.00

7.1.5.2 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-mesh, medium, 50-145cm2

Polymer

Medical Vision Australia Pty Ltd

MF043	Ultra Thin Sheet	Porus Polyethylene. Model 7214	76 x 127 x 0.85mm	$950.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 756 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.5.3 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-mesh, large, >145cm2

Polymer

Medical Vision Australia Pty Ltd

MF044	Ultra Thin Sheet	Porus Polyethylene. Model 7216	127 x 178 x 0.85mm	$1,550.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.1.5.4 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-mesh, unspecified or various

Block

Medical Vision Australia Pty Ltd

MF032	Block	Models 6332 - 6340 & 6359	6332: 13 x 38 x 3mm, 6333: 13 x 38 x 6mm, 	$825.00	Only to be funded where used in a service for

6334: 13 x 38 x 9.5mm, 6335: 25 x  50 x 3 	which a Medicare Benefit is payable

mm, 6336: 25 x 50 x 6mm, 6337: 25 x 50 x

9.5mm, 6338: 38 x 63 x 3mm, 6339: 38 x 63

x 6mm, 6340: 38 x 63 x 9.5mm 6359: 150 x

201mm

MF033	Flexblock TF2	Flexblock TF2 implant, left and right, models 9857 - 9860,	Flexblock TF2: small left & right 61 x 78 x 	$950.00	Only to be funded where used in a service for

9861 - 9862	18mm, Medium left & right 74 x 93 x 20mm, 	which a Medicare Benefit is payable

large left & right 82 x 105 x 20mm

MF047	Flexblock TF2	Porus Polyethylene. Flexblock TF2 implant, left and right, 	Flexblock TF2: large 82 x 105 x 20mm.	$825.00	Only to be funded where used in a service for

models 9861 - 9862	which a Medicare Benefit is payable

MF048	Flexblock TF	Porus Polyethylene. Flexblock TF implant, models 9521 - 	Flexblock TF: small 70 x 70 x 10mm, medium	$850.00	Only to be funded where used in a service for

9522.	 88 x 86 x 15mm,	which a Medicare Benefit is payable

MF049	Flexblock TF	Porus Polyethylene. Flexblock TF implant, model 9523. 	Flexblock TF: large 98 x 95 x 18mm.	$1,000.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MF050	Flexblock, Cranial Grid	Porus Polyethylene.Flexblock cranial grid implant, model 	Flexblock cranial grid: 97 x 107 x 6mm.	$1,600.00	Only to be funded where used in a service for

9524.	which a Medicare Benefit is payable

MF051	Flexblock	Porus Polyethylene. Flexblock, model 6314.	Flexblock: 56 x 91 x 4mm.	$860.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 757 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.1.5 Screw, craniomaxillofacial and small fragment

7.1.5.2 Screw, craniomaxillofacial and small fragment, diameter > 4mm

Resorbable

Arthrocare Australasia Pty Ltd

AF022	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 4.5 x 20-55mm, 3.1 x 40mm	$310.00

7.1.5.4 Screw, craniomaxillofacial and small fragment, diameter 2.75 - 3.24mm (3.0mm)

Resorbable

Arthrocare Australasia Pty Ltd

AF020	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 3.1 x 6 - 30mm and 2.5 x 30mm	$155.00

7.1.5.5 Screw, craniomaxillofacial and small fragment, diameter 2.25 - 2.74mm (2.5mm)

LMT Surgical Pty Ltd

LM007	TriMed Wrist Fixation System	Cortical Bone Screw, Stainless Steel	Diameter 2.3 - 3.2mm, Length 10 - 32mm	$120.00

Locking

Energy Orthopaedics Pty Ltd

EO006	Aptus Hand	Aptus Hand-locking screws	2.0mm-2.5mm diameter, 6mm-34mm length	$130.00

Resorbable

Arthrocare Australasia Pty Ltd

AF019	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 6-23mm, 3.1 x 6-8mm	$141.00

AF024	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 1.5 - 2.5mm dia x 5-8mm long	$121.00

7.1.5.6 Screw, craniomaxillofacial and small fragment, diameter 1.75 - 2.24mm (2.0mm)

Energy Orthopaedics Pty Ltd

EO007	 Aptus Hand	Titanium cortex screws	1.2-2,5mm diameter, 4mm-34mm	$67.00

Prostheses List by Category, Groups and Sponsor	Page 758 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Resorbable

Arthrocare Australasia Pty Ltd

AF023	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2 x 9-19mm, 2.5 x 10-23mm and 2.8	$141.00

x 10 - 23mm

7.2.1 Chin

Medical Vision Australia Pty Ltd

MF023	Chins	Extended chin implants: Round RZ (Models 8313 - 8315) 	Extended chin Implants design RZ round 	$286.00	$400.00	Only to be funded where used in a service for

and extended square RZ (Models 8316, 8318). Two piece	small: 45 x 47 x 3mm, medium 45 x 47 x 	which a Medicare Benefit is payable

chin design (Models 8320 - 8322). Single piece chin 	5mm, large 45 x 47 x 7mm; Extneded Chin

design, contoured (Models 7520 - 7522). Additional chin 	Implants square small 45 x 47 x3mm; Medium

shapes (Models 6341 - 6344) Contoured t	 45 x 47 x 5mm; Large 45 x 47 x 7mm; Two

piece design small 46 x 33 x 5mm; Medium

56 x 36 x 7mm

Surgiplas Medical

SP004	Facial Prosthesis	Silicone elastomer	Small / Medium / Large / X-Large	$286.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.2 Craniomaxillofacial, Cranium

Coated

Anatomics Pty Ltd

AT064	E-POR Biomaterial/ Cranial Temporal, Porous 	Cranial Temporal, Porous Polyethylene Titanium Mesh 	Left, Right, 130mm x 130mm	$2,600.00

Polyethylene Titanium Mesh Composite	Composite

Complex - Custom

Advanced Surgical Design & Manufacture Ltd

AE053	ASDM Bone Plates	Custom Skull Mesh Plate, Titanium	One size only	$6,700.00

Australian Surgical Innovations Pty Ltd

AI006	ASI Plates and Screws	Custom Mesh	.	$6,700.00	$7,370.00

Prostheses List by Category, Groups and Sponsor	Page 759 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC526	TiMesh	Surgical Mesh:  Anterior, Posterior, Modified	One size only	$6,700.00	$9,930.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC527	TiMesh	Lateral Mesh:  Left, Right	One size only	$6,700.00	$9,930.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC528	TiMesh	Cranial Custom Mesh	121mm x 72mm - 152  x 152mm	$6,700.00	$9,930.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MC625	Modified Dual TiMesh	TiMesh Surgical Mesh Modified, includes two cranial 	121mm x 77mm. 152mm x 152mm.	$10,500.00	$12,250.00	Only to be funded where used in a service for

plates. Composition: Titanium	which a Medicare Benefit is payable

Complex - Custom, Polymer

Anatomics Pty Ltd

AT063	E-POR Biomaterial/ Patient Specific Cranial Implant, 	Patient Specific Cranial Implant, Porous Polyethylene	Cranial Shape - Customised	$9,930.00

Porous Polyethylene

Polymer

Anatomics Pty Ltd

AT059	E-POR Biomaterial/ Mastoid, Pterional, Contourable 	Mastoid, Pterional, Contourable Porous Polyethylene	Left, Right, 43mm - 57mm x 0.6mm, 1.5mm	$1,300.00

Porous Polyethylene

AT061	E-POR Biomaterial/ Contour Porous Polyethylene	Contour Porous Polyethylene	One Size 56mm x 91mm	$1,300.00

Resorbable

Medtronic Australasia Pty Ltd

MC548	Macropore	Cranial Recon	29 - 165mm	$481.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.2 Cranium

Surgiplas Medical

SP113	OsteoMed Plating & Fixation System	Plates	90 x 90mm, 95 x 165mm, & Large Pre-	$2,600.00	$2,975.00	Only to be funded where used in a service for

formed Osteoform Mesh, Cranium.	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 760 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.2.3 Craniomaxillofacial, Ear, other than hearing appliance

7.2.3.1 Craniomaxillofacial, Ear, other than hearing applicance, Ear Body

Cochlear Limited

CO036	Standard Abutments	Abutment Complete - Titanium	3.0mm - 90780, 4.0mm - 90778, 5.5mm - 	$412.00	Only to be funded where used in a service for

90776, 7.0mm - 90774	which a Medicare Benefit is payable

Offset/Angled

Cochlear Limited

CO037	Face to Face	Console Abutment Unigrip - Titanium	30, 60, 90, 110 Degrees	$895.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.3.2 Craniomaxillofacial, Ear, other than hearing applicance, Ear Base

Medical Vision Australia Pty Ltd

MF052	Ear Reconstruction	Porus Polyethylene. Ear base left and right, models 7542 	Ear base: 29 x 55 x 13mm, 32 x 65 x 16mm. 	$600.00	Only to be funded where used in a service for

and 7525  - 7527. Ear base extended left and right, models	Ear base extended: 30 x 60mm.	which a Medicare Benefit is payable

8330 and 8331.

7.2.3.3 Craniomaxillofacial, Ear, other than hearing applicance, Helical Rim

Medical Vision Australia Pty Ltd

MF035	Ear Reconstruction	Porus Polyethylene. Helical rim, models 8328 and 8329	Helical rim: 37 x 62mm	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.4 Craniomaxillofacial, Malar Implant

Medical Vision Australia Pty Ltd

MF024	Genioplasty Wedge	Porus Polyethylene. Genioplasty wedges, models 8340 - 	Small 60 x 25 x 5mm, medium 60 x 25 x 	$420.00	Only to be funded where used in a service for

8343	7.5mm, large 60 x 25 x 10mm	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 761 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MF025	Prejowl Shape	Porus Polyethylene. Model 8319	45 x 41 x 4mm	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MF026	Malar Shape	Porus Polyethylene. Design RZ malar shapes, super petite 	Design RZ malar shapes: super petite left and 	$420.00	Only to be funded where used in a service for

and petite, left and right (Models 9501 - 9504). Design M 	right 50 x 19 x 3mm, Design RZ malar shapes 	which a Medicare Benefit is payable

malar shapes, left and right (Models 9507 - 9512). 	petite left and right 50 x 19 x 5mm. Design

Additional malar shapes, extended contoured left and right 	malar shapes: small left and right  64 x 19 x

(Models 9513 - 9518) Contoured	3mm, left and right medium 64 x 19 x 4.5mm,

Left and right large 64 x 19 x

Complex, Polymer

Anatomics Pty Ltd

AT053	E-POR Biomaterial/ Midface Contour Porous 	Midface Contour Porous Polyethylene	One size	$1,150.00

Polyethylene

AT062	E-POR Biomaterial/ Temporal Fossa Implant Porous 	Temporal Fossa Implant Porous Polyethylene	61mm - 105mm x 18mm - 20mm	$1,150.00

Polyethylene

7.2.5 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ)

7.2.5.1 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), Mandible Full

Medtronic Australasia Pty Ltd

MC513	TiMesh	Full Mandible	One size only	$1,520.00	$1,920.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP092	Osteo Plating & Fixation System	Plates - Reconstruction	5 x 20 x 5 Hole Full Mandible Plate; 5 x 16 x 	$1,520.00	Only to be funded where used in a service for

5 Hole Full Mandible Plate; Mandible, Full	which a Medicare Benefit is payable.

7.2.5.2 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), Hermimandible

Medtronic Australasia Pty Ltd

MC515	TiMesh	Hemimandible, Left/Right	One size only	$645.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 762 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgiplas Medical

SP024	OsteoMed Plating & Fixation System	Plates - Reconstruction	5 x 16 Hole plate Right & Left	$645.00	$840.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

7.2.5.3 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), Mandibular Angle

Compression

Surgiplas Medical

SP069	Plates	Micro, Mini, Maxi	Angled EDC Plate, Angled Long EDC Plate, 	$375.00	Only to be funded where used in a service for

40mm 6 Hole Fracture Plate, 6 Hole Curved 	which a Medicare Benefit is payable

EDC Plate, 33mm & 38mm 4 Hole EDC

Plate, 48mm 6 Hole EDC Plate, Mandible,

Mandible Angle

Polymer

Medical Vision Australia Pty Ltd

MF037	Mandibular angle	Porus Polyethylene. RZ mandibular angles left and right 	RZ mandibular angles: 65 x 35 x 3 x 6.5 x 3 x 	$1,485.00	Only to be funded where used in a service for

(Models 9955 - 9960); Porus Polyethylene. Contoured 	3mm, 65 x 35 x 7 x 6.5 x 3 x 3mm, 65 x 35 x	which a Medicare Benefit is payable

mandibular angles left and right (Models 88037 - 88038)	 11 x 6.5 x 3 x 3mm. Contoured mandibular

angles left and right:59 x 29 x 7 x 11mm.

7.2.5.4 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), Symphysis

Medtronic Australasia Pty Ltd

MC516	TiMesh	Mandibular Symphysis	One size only	$1,294.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.5.5 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), TMJ, Mandibular Component

Biomet Australia Pty Ltd

BI559	TMJ System	Mandibular Component, Left or Right, Titanium	(40 - 60mm), 5-13 hole	$6,875.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI792	Lorenz 2.4mm Locking Reconstruction System	Condyle left or right, chrome cobalt (CoCr)	One size only	$1,545.00	$1,600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 763 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO024	Martin Mandibular Fracture System	Condylar Implant - left or right	5cm	$1,545.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK218	Leibinger Titanium Implant System - Universal Mandible 	Items used for reconstruction following trauma or tumor 	Universal Mandible Condylar Device Left and	$1,545.00	Only to be funded where used in a service for

Condylar Device	resection of the mandible. Included are 2x cross pin fixation	 Right	which a Medicare Benefit is payable.

screw.

7.2.5.6 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), TMJ Fossa Component

Biomet Australia Pty Ltd

BI569	TMJ System	Fossa Component, Left or Right; Titanium, UHMWPE	Small, Medium Large	$5,850.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.5.8 Maxilla

Medtronic Australasia Pty Ltd

MC512	TiMesh	Maxillary Prosthesis	One size only	$2,124.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.6 Craniomaxillofacial, Nose and Zygoma

7.2.6.1 Craniomaxillofacial, Nose and Zygoma, Nasal Dorsum

Medical Device Alliance Pty Ltd

MP009	Facial Implant Nasal	Nasal dorsum	Small, large	$279.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP013	Facial Implant Nasal	Zygomatic	Right, left	$279.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Medical Vision Australia Pty Ltd

MF038	Nasal Shape. Petite Nasal Dorsum.	Porus Polyethylene. Petite Nasal Dorsum ( Models 84000 	Petite Nasal Dorsum: 4 x 4 x 45mm, 4 x 4 x 	$279.00	Only to be funded where used in a service for

- 84004).	55mm, 5 x 5 x 45mm, 5 x 5 x 55mm, 6 x 9 x 	which a Medicare Benefit is payable

55mm.

Prostheses List by Category, Groups and Sponsor	Page 764 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mentor Medical Systems

MN021	Implantech Facial Implants - Nasal Prostheses	Implantech Shirakabe Nasal Implant; Implantech Flowers 	Extra Small, Small, Medium, Large, Extra 	$279.00	Only to be funded where used in a service for

Dorsal Nasal Implant; Implantech Dorsal Columella 	Large	which a Medicare Benefit is payable.

Implant; Implantech Brink Peri-Pyriform Implant;

Implantech Rizzo Dorsal Nasal Implant; Composition:

Implant Grade Silicone Elastomer

7.2.6.2 Craniomaxillofacial, Nose and Zygoma, Nasal Arch

Medical Vision Australia Pty Ltd

MF027	Nasal Shape or Rhinoplasty Shape	Porus Polyethylene. Nasal Arch shapes, nasal arch and 	Nasal arch shapes: small 70 x 13 x 2mm, 	$350.00	Only to be funded where used in a service for

nasal sheet (Models 9533 - 9536). Nasal dorsum shapes, 	medium 70 x 15 x 2mm, large 70 x 15 x 2mm,	which a Medicare Benefit is payable

design A and design B (Models 7516 - 7518). Nasal valve 	 sheet 40 x 9 x 1.1mm. Nasal dorsum shapes:

support, lateral nasal valve support and ext.	design A small 53 x 5mm, design A large 66 x

8mm, design B 67 x 6.5mm. Nasal valve

support: lateral nasal valve 13 x 0.85 x 3.5mm

7.2.6.3 Craniomaxillofacial, Nose and Zygoma, Nasal Shell Shape

Medical Vision Australia Pty Ltd

MF041	Nasal Shell Shapes.	Nasal Shell Shapes, Regular and Large with Inserts Small 	Regular: 38 x 21 x 17mm, Insert Small 30 x 4 	$490.00	Only to be funded where used in a service for

and Large (included). Models 9553 - 9554. Thin Nasal 	x 9mm, Insert Large 38 x 2.5 x 9mm. Large: 	which a Medicare Benefit is payable

Shell 84006	40 x 20 x 18mm, Insert Small 32 x 4 x 9mm,

Insert Large 41 x 3 x 9mm. Thin Nasal Dorsal

Shell 42.7mm x 16.4mm x 21.8mm

7.2.6.4 Craniomaxillofacial, Nose and Zygoma, Nasal Valve Support

Medical Device Alliance Pty Ltd

MP003	Facial Implant Nasal "L" Shaped	White, pink	1.9 x 4.1 x 2.8cm, 1.8 x 4 x 2.9cm	$227.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 765 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical Vision Australia Pty Ltd

MF039	Nasal Valve Support.	Lateral Nasal Valve, Model 7545. External Nasal Valve 	Lateral Nasal Valve:13 x 3.5 x 0.85mm, 	$350.00	Only to be funded where used in a service for

Batten, Model 7546. External Nasal Valve Batten - Thin, 	External Nasal Valve Batten: 25 x 11 x 	which a Medicare Benefit is payable

Model 7167	0.85mm, External Nasal Valve Batten - Thin:

24 x 11.5 x 0.6mm.

7.2.6.5 Craniomaxillofacial, Nose and Zygoma, Nasal-orbital Ethmoid Implant

Complex

Medtronic Australasia Pty Ltd

MC521	TiMesh	Naso-Orbital-Ethmoid 	1mm - 2.2mm;  Complex 1, Complex 2, 	$541.00	Only to be funded where used in a service for

Complex 3	which a Medicare Benefit is payable

7.2.7 Craniomaxillofacial, Orbit

7.2.7.1 Craniomaxillofacial, Orbit, Complete Orbital Shape

Medical Vision Australia Pty Ltd

MF022	Complete Orbital Shape	Porus Polyethylene. Complete and 2 / 3 orbit shapes. 	Inferior: 83 x 78mm	$1,940.00	Only to be funded where used in a service for

Inferior 2 / 3 left and right. Models 9567, 9568	which a Medicare Benefit is payable

MF036	Complete Orbital Shape	Complete left and right.  Models 9569, 9570	Complete 61 x 76mm	$1,940.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.7.2 Craniomaxillofacial, Orbit, Orbital Floor

Surgiplas Medical

SP079	Plates	Micro, Mini	Orbital Plate, Orbital Plate Large	$890.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Coated

Anatomics Pty Ltd

AT055	E-POR Biomaterial/ Orbital Wall and Floor Porous 	Orbital Wall and Floor Porous Polyethylene Titanium Mesh	41 x 42 x 0.6-1.0mm	$985.00

Polyethylene Titanium Mesh Composite (large)	 Composite

Prostheses List by Category, Groups and Sponsor	Page 766 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.2.7.4 Craniomaxillofacial, Orbit, Opthalmic Rim

Medical Vision Australia Pty Ltd

MF021	Orbital Rim	Orbital rims, left and right extended. Models 9539, 9540 	Left & right extended models 47 x 40mm 	$395.00	Only to be funded where used in a service for

Orbital Rim Onlay Implants 81001, 81002	Oribtal Rim Onlay Implants left & right 40 x 	which a Medicare Benefit is payable

40mm

7.2.7.6 Craniomaxillofacial, Orbit, Wedge for Orbit

Medical Vision Australia Pty Ltd

MF020	Enophthalmos Wedge	Regular left and right. Large left and right. (Models 9541 - 	Regular: 22 x 31 x 7mm. Large: 28 x 40 x 	$460.00	Only to be funded where used in a service for

9544)	7.5mm	which a Medicare Benefit is payable

7.2.8 Craniomaxillofacial, External Prostheses, Bone Attachments

7.2.8.1 CMF, Bone attachment, endosseous implant

Fixture

Cochlear Limited

CO042	Vistafix™ Fixture ST	Titanium self-tapping fixtures for the retention of midface 	3mm and 4mm	$635.00

and orbital prostheses.

7.2.8.3 CMF, Bone Attachment, Abutment, Temporary or Healing

Cochlear Limited

CO038	Face to Face	Healing Abutment Unigrip - Titanium	7mm	$285.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.2.8.4 CMF, Bone attachment, Abutment fixtures

Cover Screw

Cochlear Limited

CO035	Face to Face	Cover Screw with Internal Hexagon	One Size Only	$142.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 767 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.3.1 Dental Implants, Abutment, permanent

AstraZeneca Pty Ltd

AZ005	Astra Tech Abutments	PreFab Titanium Abutment, BiAbutment/Abutment Kit	Diam 3.5 - 5.0mm	$175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AZ006	Astra Tech Abutments	UniAbutment, Angled Abutment, Ball Abutment	Diam 3.5 - 7.0mm	$175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AZ007	Astra Tech Abutments	Ceramic Abutment	Diam 4.5 - 5.0mm	$175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

AZ008	AstraTech Cast to Abutment	.	$160.00

AZ009	AstraTech Profile BI Abutment	.	$175.00

Biomet 3i Australia Pty Ltd

NW001	3i Abutment Complete	Titanium	3.25 - 6mm diameter	$175.00	Endosseous Implants -  (Not to be included for

dental treatment except as a secondary

procedure when partial or complete resection

of a mandible or maxilla has been undertaken

for removal of an extensive tumour or cyst.)

Neoss Australia Pty Ltd

NJ003	Neoss Titanium Abutment	Neoss Abutment Titanium	Universal	$175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

NJ004	Neoss Gold Abutment	Neoss Abutment Gold 	Universal	$175.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 768 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Nobel Biocare

NR001	Nobel Biocare Abutments	Abutment, complete	3.5, 3.6, 4.0, 4.5, 5.0, 5.3, 6.0, 7.0mm 	$175.00	Endosseous Implants -  (Not to be included for

Diameter	 dental treatment except as a secondary

procedure when partial or complete resection

of a mandible or maxilla has been undertaken

for removal of an extensive tumour or cyst.)

7.3.2 Dental Implants, Abutment, temporary or healing

AstraZeneca Pty Ltd

AZ001	Astra Tech Cover Screws	Cover Screw	Diameter 3.5mm, 4.0mm, 4.5/5.0mm Short, 	$52.00	Only to be funded where used in a service for

4.5/ 5.0mm Long	which a Medicare Benefit is payable

AZ003	Astra Tech Healing Abutments	Healing Abutments, Healing Abutments Zebra	Zebra 1.5, 3.0, 4.5, 6.0mm; Healing 	$70.00	Only to be funded where used in a service for

Abutment 5.5mm Ultra, Short, Long; 7.0mm 	which a Medicare Benefit is payable

Short, Long; ST Short, Long; ST 5.5mm

Short, Long; ST 7.0mm Short, Long;

Temporary Abutment 3.5, 4.0 4.0/5.0mm

AZ004	Astra Tech Abutments	Temporary Abutment	Diam 3.5 - 5.0mm	$96.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Nobel Biocare

NR002	Nobel Biocare Cover Screws	Cover screw	NP, RP, WP, 6.0mm	$52.00	Endosseous Implants -  (Not to be included for

dental treatment except as a secondary

procedure when partial or complete resection

of a mandible or maxilla has been undertaken

for removal of an extensive tumour or cyst.)

NR004	Healing Abutment Complete	Abutment Coping	One Size Only	$70.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Straumann Pty Ltd

SB002	Straumann Pty Ltd	Straumann Healing Cap NNI/RN/WNI	Height 1.5 - 4.5 mm	$52.00

Prostheses List by Category, Groups and Sponsor	Page 769 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.3.3 Dental Implants, other endosseous implant

AstraZeneca Pty Ltd

AZ002	Astra Tech MicroThread Fixtures and MicroThread 	Titanium fixture with microthreaded cervical neck	Diameter 3.5 - 5.0mm, Length 8-19mm	$467.00	Only to be funded where used in a service for

Osseospeed Fixtures	which a Medicare Benefit is payable

Biomet 3i Australia Pty Ltd

NW002	3i Self Tapping Threaded Implants and 3i Coverscrew	Osseotite/Ice	3.25 - 6mm diameter	$467.00	$545.00	Endosseous Implants -  (Not to be included for

dental treatment except as a secondary

procedure when partial or complete resection

of a mandible or maxilla has been undertaken

for removal of an extensive tumour or cyst.)

NW003	Biogran	Resorbable Synthetic Bone Graft	3i Biogran 750mg Glass Syringe 2 pack; 3I 	$110.00	Only to be funded where used in a service for

Biogran 750mg Glass Syringe 7 pack; 3I 	which a Medicare Benefit is payable

Biogran 500mg Mixing Cup 7 pack; 3I

750mg Mixing Cup 7 pack; 3I Biogran

1500mg Mixing Cup 7 pack

Henry Schein/Halas Pty Ltd

HD006	Dental Implants	Titanium type 4 and 5	3.25 to 6.0mm diameter, 6.0 to 52.5mm length	$96.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

HD007	Bio-Oss Collagen	The product consists of Bio-Oss grannules, embedded in 	1 preformed block of cancellous-bone 	$448.00

10% porcine collagen.  The collagen component is 	granulate and collagen, block sizes 500mg

resorbed within a few weeks.  The properties of the Bio-

Oss granules remain unchanged.  The collagen component

of Bio-Oss Collagen facilitates the hand

HD008	Bio-Oss Collagen	The product consists of Bio-Oss grannules, embedded in 	1 preformed block of cancellous-bone 	$248.00

10% porcine collagen.  The collagen component is 	granulate and collagen, block size 250mg

resorbed within a few weeks.  The properties of the Bio-

Oss granules remain unchanged.  The collagen component

of Bio-Oss Collagen facilitates the hand

Prostheses List by Category, Groups and Sponsor	Page 770 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HD009	Bio-Oss	The material consists of anorganic bovine bone matrix 	Cancellous Bone Block - 1cm x1cm x2cm	$360.00

sterilized by gamma-irradiation.  Bio-Ossis a natural bone

mineral for filling of bone defects in maxillfacial surgery,

implantology, and periodontology, eg. Preparation of

implant sites, ridge reconst

HD014	Bio-Oss Collagen	The product consists of Bio-Oss grannules, embedded in 	1 preformed block of cancellous-bone 	$133.00

10% porcine collagen.  The collagen component is 	granulate and collagen, block size 100mg

resorbed within a few weeks.  The properties of the Bio-

Oss granules remain unchanged.  The collagen component

of Bio-Oss Collagen facilitates the hand

Neoss Australia Pty Ltd

NJ001	Neoss Implant System	Titanium Dental Implant	Diameters 3.5, 4.0, 4.5, 5.0 & 5.5mm in 	$350.00	Only to be funded where used in a service for

Lengths: 7, 9, 11, 13, 15, 17mm	which a Medicare Benefit is payable

Nobel Biocare

NR003	Branemark Fixtures	Titanium Fixture	3, 4, 5mm	$467.00	Endosseous Implants -  (Not to be included for

dental treatment except as a secondary

procedure when partial or complete resection

of a mandible or maxilla has been undertaken

for removal of an extensive tumour or cyst.)

NR006	Branemark Novum System	Titanium - Kit Fixture System	One size only	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

NR009	NobelDirect Implant	Dental Implant Endosseous incorporating abutment, Titanium	10mm, 13mm, 16mm	$467.00	$617.00	To be funded only when used in MBS

procedures relating to oncology

NR010	Replace Implant	Dental Implant Endosseous, Titanium	10mm, 13mm, 16mm	$467.00	To be funded only when used in MBS

procedures relating to oncology

NR011	NobelPerfect Implant	Dental Implant Edosseous, Titanium	10mm, 13mm, 16mm	$467.00	To be funded only when used in MBS

procedures relating to oncology

Prostheses List by Category, Groups and Sponsor	Page 771 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NR012	Groovy Implants (NobelReplace Straight Groovy, 	Dental Implants, endosseous	Diameter 3.5 - 6.0mm; Length 8.0 - 18.0mm	$467.00

NobelReplace Tapered Groovy, NobelSpeedy Replace,

Branemark System Mk III Groovy, NobelSpeedy

Groovy)

NR013	NobelActive implants	Dental implants, endosseous	Diameter 3.5 - 5.0mm; Length 8.5 - 18.0mm	$467.00

Straumann Pty Ltd

SB001	Straumann Pty Ltd	Straumann Dental Implant NNI/RN/WNI	Diameter 3.3 - 4.8mm Length 6 - 16mm	$360.00

7.3.3.1 Dental Implants - Zygomatic Bone Implants

Nobel Biocare

NR007	Branemark Titanium Fixture	Zygomaticus Fixture	30, 35, 42.5, 40, 45, 47.5, 50, 52.5mm Length	$600.00	$800.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.3.4 Dental Implants, Orthodontic skeletal anchor plate

Stryker Australia Pty Ltd

SK420	Orthodontic Skeletal Anchor Plate	Orthodontic Skeletal Anchor Plate, Standard	1.7mm	$260.00

Locking

Stryker Australia Pty Ltd

SK421	Orthodontic Skeletal Anchor Plate	Orthodontic Skeletal Anchor Plate Locking	1.7mm	$320.00

Screw

Stryker Australia Pty Ltd

SK422	Orthodontic Skeletal Anchor Screw	Anchor Screw for Mandibular Maxillary Fixation Screw, 	1.7mm	$110.00

Self-Drilling

SK423	Orthodontic Skeletal Anchor Screw	Anchor Screw for Mandibular Maxillary Fixation Screw, 	2.0mm	$110.00

Self-Drilling

Prostheses List by Category, Groups and Sponsor	Page 772 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.4.1 Distractor System, Complete

7.4.1.1 Distractor System, Complete, External, Midface

Multi Vector

Medical & Optical Instruments Australia Pty Ltd

MO236	Martin Rigid External Distraction System II (RED II)	RED II Aluminium Cranium Frame and Carbon Fibre Rods	One Size Only	$8,791.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.4.1.2 Distractor System, Complete, External, Mandible

Multivector

Stryker Australia Pty Ltd

SK183	Leibinger Intraoral Distractor (Multiguide II)	Manufactured from stainless steel, allows gradual, 	Frame 20mm - 35mm, 2.0mm diameter, 50 - 	$4,150.00	Temporary approval pending review of product

independent, and simultaneous distraction of the mandible in	90 mm length Auto - Pilot Pins	 group in Feb 09 cycle.

3 planes.

Synthes Australia Pty Ltd

SY349	Multi Vector Distractor Set	Titanium Multi Vector Distractor	MVD Arms:15mm-85mm. Pin holding 	$1,955.00	Temporary approval pending review of product

clamps-ramus,body,universal,limited bone 	 group in Feb 09 cycle.

stock ramus and body. Assembly left & right

35mm. K wires 2.0mm 150mm length.

Connecting bar 4.0mm 100mm-200mm length

SY401	External Midface Distractor System	Head Frame Assembly, Carbon Fibre Rods	One size only	$8,100.00

7.4.1.3 Distractor System, Complete, Other

Single Vector

Medical & Optical Instruments Australia Pty Ltd

MO233	Internal Distraction Device	Titanium	1.5mm	$7,100.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.4.1.4 Distractor System, Complete, Internal/Intraoral

Multi Vector

Medical & Optical Instruments Australia Pty Ltd

MO239	Intra-Oral Distraction System	Titanium Distraction Device. Complex Midface and 	15 - 60mm distraction length	$3,100.00	Only to be funded where used in a service for

Reconstructive	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 773 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Single Vector, Resorbable

Biomet Australia Pty Ltd

BI934	Lactosorb Distraction System	Plate, drive screw and distractor, PGA/PLLA, Ti	Small, Medium, Large	$3,500.00	Temporary approval pending review of product

group in Feb 09 cycle.

Singlevector

Biomet Australia Pty Ltd

BI823	Alveolar Ridge Distraction System - titanium	distraction device, single tooth	10-20mm	$1,955.00	Temporary approval pending review of product

group in Feb 09 cycle.

BI824	Alveolar Ridge Distraction System - titanium	distraction device, multi tooth	10-20mm	$1,955.00	Temporary approval pending review of product

group in Feb 09 cycle.

Medical & Optical Instruments Australia Pty Ltd

MO135	Martin Internal Distraction System	Titanium Distractor	10 to 20mm	$1,955.00	$2,700.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY399	Alveolar Distractor	Vertical mandibular, maxilla alveolar ridge distractor	8-16mm	$1,955.00

SY408	Mandible External Fixator	Three Quarter Mandible	One size	$1,460.00

SY409	Mandible External Fixator	Full Mandible	One size only	$1,460.00

SY410	Mandible External Fixator	Full Mandible Ramus	One size	$1,460.00

SY411	Mandible External Fixator	Hemi Mandible	One size	$1,460.00

7.4.2 Distractor System, Component

7.4.2.2 Distractor System, Component, Diestractor Body

Synthes Australia Pty Ltd

SY515	Midface Distractor System	Distractor System, Distractor Body	10-40mm distraction length	$1,955.00	$2,200.00

7.4.2.3 Distractor System, Component, Footplate

Medical & Optical Instruments Australia Pty Ltd

MO242	Martin Rigid External Distraction Device II (REDII)	RED II Titanium Fixation Plate	1.5mm	$156.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 774 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Stryker Australia Pty Ltd

SK455	Leibinger Endosseous Alveolar Ridge Distraction System	Dual plate with threaded transport rod, titianium	Single Tooth	$1,312.00	Temporary approval pending review of product

group in Feb 09 cycle.

Synthes Australia Pty Ltd

SY404	External Midface Distractor System	Maxillary Footplate Assembly	80mm-110mm	$480.00

SY406	External Midface Distractor System	Titanium Zygomatic, Maxxilary Footplate	3 holes, 40mm	$156.00

SY516	Midface Distractor System	Distractor System, Assembly,Footplate	6-25mm	$480.00	$800.00

7.4.2.4 Distractor System, Component, Rod

Synthes Australia Pty Ltd

SY402	External Midface Distractor System	Horizontal Rod Assembly	One size only	$990.00

7.4.2.5 Distractor System, Component, Cross Bar

Medical & Optical Instruments Australia Pty Ltd

MO246	Martin Rigid External Distraction System II (REDII)	REDII Aluminium and Carbon Fibre Cross-Bar Assembly	One size only	$990.00	$1,560.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.4.2.6 Distractor System, Component, Screws/Pins (other than bone screws)

Medical & Optical Instruments Australia Pty Ltd

MO234	Martin Rigid External Distraction System II (REDII)	RED II Titanium Cranial Fixation Screws	45-55mm	$148.00	$217.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY517	Midface Distractor System	Distractor System, Screw	4-10mm	$75.00

includes sleeve

Biomet Australia Pty Ltd

BI580	Distraction Technology System	Distractor, Midface, Drive Screw with Sleeve.  Titanium	20 - 30mm	$750.00	$785.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 775 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.4.2.9 Distractor System, Component, Other

Biomet Australia Pty Ltd

BI825	Alveolar Ridge Distraction System - titanium	Shim plate, titanium	1-3mm	$100.00	Temporary approval pending review of product

group in Feb 09 cycle.

Medical & Optical Instruments Australia Pty Ltd

MO240	Martin Rigid External Distraction Device II (REDII)	RED II Titanium Maxillary Fixation	1.5mm - 1.8mm	$1,461.00	$1,696.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Synthes Australia Pty Ltd

SY518	Midface Distractor System	Distractor System , Body extentions	20-40mm	$500.00

7.5.1 Soft Tissue (other), Mammary Implants and Tissue Expanders, gen or unspeci

LMT Surgical Pty Ltd

LM030	Synovis Coupler	High Density polyethylene (ring); Stainless Steel (pins)	Diameter 1-3mm	$620.00	$625.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.5.2 Muscular

7.5.2.1 Calf implant

Medical Device Alliance Pty Ltd

MP005	Calf Implants	Asymmetrical shape, silicone gel smooth  surface	85-180cc	$517.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP008	Calf Implant	Silicone elastomer - smooth surface, asymmetrical shape,	70-175cc	$517.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP014	Calf Implant	Silicone elastomer - smooth surface, symmetrical shape	15-105cc	$517.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP016	Calf Implants	Symmetrical shape, silicone gel	12-140cc	$517.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 776 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.2.2 Gluteal

Medical Device Alliance Pty Ltd

MP017	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Smooth	100-300cc	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP018	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Textured Surface	200-400cc	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP019	Gluteal Implants filled with Gel	Round Shape, Silicone Gel, Smooth Surface	200-300cc	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP020	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Smooth Surface	95-260cc	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

MP021	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Textured Surface	225-420cc	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP022	Gluteal Implants filled with Elastomer	Round Shape, Silicone Elastomer, Smooth Surface	250-340cc	$620.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

7.5.3 Facial

Surgiplas Medical

SP048	Gel Filled Mammary Prosthesis Models RGI-D, RGI-	Smooth Round	80 to 800ml	$610.00	In strict accordance with Medicare Benefits

DH and RGI-DEH	Schedule Items Number 45524, 45527,

45528, 45542, 45552, 45554, 45555 only.

7.5.3.1 Facial, otherwise unspecified

Medical Device Alliance Pty Ltd

MP010	Facial Implant Chin	Anotomical chin	Small, medium, large/left, right	$275.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 777 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MP012	Facial Implant Chin	Chin	Small, medium, large/left, right	$258.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP034	Facial Implant - Ear	One size only	$496.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Mentor Medical Systems

MN020	Implantech Facial Implants - Chin Prostheses	Implantech Anatomical Chin;Flowers Mandibular 	Extra small, Small, Medium, Large, Extra Large	$420.00	Only to be funded where used in a service for

Glove;Terino Extended Anatomical Chin;Terino Square 	which a Medicare Benefit is payable.

Chin Style I;Mittleman Pre-Jowl;Glasgold Wafer for Pre-

Jowl Chin;Mittleman Pre-Jowl Chin;Glasgold Wafer for

Extended Anatomical Chin;Silicone Chin;Terino Squ

7.5.3.2 Malar

Medical Device Alliance Pty Ltd

MP007	Facial Implant Malar	Malar	Small, medium, large/left or right	$330.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

MP035	Facial Implant Malar	Malar Anatomical	Small, medium, large/left or right	$330.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Polymer

Anatomics Pty Ltd

AT058	E-POR Biomaterial/ Transsphenoidal Sellar Contourable 	Transphenoidal Sellar Contourable Porous Polyethylene	2.5mm x 20mm - 40mm	$500.00

Porous Polyethylene

Two Stage

Mentor Medical Systems

MN003	Terino Malar Shell Implants	Solid-silicone, Implantech	Small, medium, large, xlarge	$490.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 778 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.4 Mammary implants

Mentor Medical Systems

MN010	Mentor Saline-Filled Anterior Diaphragm Valve 	Mammary Prothesis - Smooth	125 to 700cc	$640.00	In strict accordance with the requirements of

Mammary Prosthesis 	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MN014	Mentor Medical Systems Smooth Low Bleed Gel-Filled, 	a	100,125,150,175,200,225,250,275,300,325,	$715.00	In strict accordance with the requirements of

Mammary Prostheses Breast, Permanently Implantable	400,450,500,550,600,700,800cc	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MN015	Mentor Siltex Low Bleed Gel-Filled (Moderate Profile) 	.	100,125,150,175,200,225,250,275,300,325,	$685.00	In strict accordance with the requirements of

Mammary Prostheses Breast, Permanently Implantable	350,375,400,500,550,600,700,800cc	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MN028	Spectra Adjustable Gel Breast Implant (Smooth)	Adjustable Gel Breast Implant (Smooth)	190cc-760cc	$1,050.00	$1,350.00

MN029	Spectra Adjustable Gel Breast Implant	Adjustable Breats Implant	190cc to 760cc	$1,125.00	$1,400.00

formed

Mentor Medical Systems

MN017	Mentor Medical Systems Contour Profile Gel-filled 	.	120,135,155,180,215,245,280,315,355,395,	$1,200.00	In strict accordance with the requirements of

Mammary Prostheses, Breast, Permanently Implantable	440,480,530,640,775cc	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

formed or pre-shaped, textured

Device Technologies Australia Pty Ltd

DE274	Style 510 Dual Gel Breast Prosthesis	Anatomical textured implant with dual gel for projection of 	LX sizes from 130-575 grams, MX sizes from	$1,200.00	$1,500.00

nipple/areola complex, concave base and tapered edges for	 145-600 grams, FX sizes from 165-630

minimisation of edge/thoracic wall palpability.	grams

Prostheses List by Category, Groups and Sponsor	Page 779 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

high profile

Mentor Medical Systems

MN016	Mentor Siltex Low Bleed Gel-Filled (High Profile) 	.	75, 200, 225, 250,  275, 300, 325, 350, 400,	$685.00	In strict accordance with the requirements of

Mammary Prostheses Breast, Permanently Implantable	 450, 500, 550cc	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MN018	Smooth High Profile Gel-filled Mammary Prostheses	Mammary prostheses	125cc-Model 350-1254BC; 150cc-Model 	$685.00	In strict accordance with the requirements of

350-1504BC; 175cc-Model 350-1754BC; 	the Medicare Benefits Schedule Items Number

200cc-Model 350-2004BC; 225cc-Model 	45524, 45527, 45528, 45542, 45552, 45554,

350-2254BC; 250cc-Model 350-2504BC; 	 45555 only.

275cc-Model 350-2754BC; 300cc-Model

350-3004BC; 325cc-Model 350-3254BC;

350cc-Model 350-3504BC; 375cc-Model

350-3754BC; 400cc-Model 350-4004BC;

425cc-Model 350-4254BC; 450cc-Model

350-4504BC; 500cc-Model 350-5004BC;

550cc-Model 350-5504BC, 600cc-Model

350-6004BC; 650cc-Model 350-6504BC;

700cc-Model 350-7004BC; 800cc-Model

350-8004BC

MN019	Siltex High Profile Gel-filled Mammary Prostheses	Mammary Prostheses	125cc-Model 354-4125; 150cc-Model 354-	$685.00	In strict accordance with the requirements of

4150; 175cc-Model 354-4175; 200cc-	the Medicare Benefits Schedule Items Number

Model 354-4200; 225cc-Model 354-4225; 	45524, 45527, 45528, 45542, 45552, 45554,

250cc-Model 354-4250; 275cc-Model 354-	 45555 only.

4275; 300cc-Model 354-4300; 325cc-

Model 354-4325; 350cc-Model 354-4350;

375cc-Model 354-4375; 400cc-Model 354-

4400; 425cc-Model 354-4425; 450cc-

Model 354-4450; 500cc-Model 354-4500;

550cc-Model 354-4550; 600cc-Model 354-

4600; 650cc-Model 354-4650; 700cc-

Model 354-4700; 800cc-Model 354-4800

Prostheses List by Category, Groups and Sponsor	Page 780 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MN024	Round Cohesive Gel-Filled Mammary Prosthesis	Model 354-1009; Model 354-1259; Model 354-1509; 	100cc, 125cc, 150cc, 175cc, 200cc, 225cc, 	$760.00	Only to be funded where used in a service for

Model 354-1759; Model 354-2009; Model 354-2259; 	250cc, 275cc, 300cc, 325cc, 350cc, 375cc, 	which a Medicare Benefit is payable.

Model 354-2509; Model 354-2759; Model 354-3009; 	400cc, 450cc, 500cc, 550cc, 600cc, 700cc,

Model 354-3259; Model 354-3509; Model 354-3759; 	800cc

Model 354-4509; Model 354-5009; Model 354-5509;

Model 354-6009; Model 354-7009; Model 354-8009;

Model 354-4009

Surgiplas Medical

SP011	Nagosil SFS-LP-Saline Filled Low Profile Smooth 	Smooth surface	100 to 600cc	$640.00	In strict accordance with the requirements of

Surface Breast Prostheses, Nagosil SFS-HP-Saline 	the Medicare Benefits Schedule Items Number

Filled High Profile Smooth Surface Breast Prostheses	45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

high profile, textured

Surgiplas Medical

SP012	Nagotex SFX-LP-Saline Filled Low Profile Textured 	Textured surface	100 to 600cc	$715.00	In strict accordance with the requirements of

Surface, Nagotex SFX-HP-Saline Filled High Profile 	the Medicare Benefits Schedule Items Number

Textured Surface Breast Prostheseses	45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

silcone shell, textured,medium profile,valved

Device Technologies Australia Pty Ltd

DE033	Style 168 Biocell Textured Mammary Implant	Silicone shell filled with saline	120 - 150 cm3 x 510 - 540 cm3	$685.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

silicone shell, high profile, valved

Device Technologies Australia Pty Ltd

DE121	Mammary Prosthesis	Smooth Surface - Saline	120 to 510cc	$640.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Prostheses List by Category, Groups and Sponsor	Page 781 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

textured

Medical Vision Australia Pty Ltd

MF013	Pip Breast Implant Gel Filled	Round Smooth Extra High profile	245cc to 495cc	$750.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Mentor Medical Systems

MN004	Mentor Siltex Spectrum Saline Tissue Expander	Saline Mammary Prostheses	Volume 275cc - 650cc	$1,125.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Surgiplas Medical

SP047	Gel Filled Mammary Prosthesis Models GFX-LP, GFX 	Textured Round	80 to 800ml	$760.00	In strict accordance with Medicare Benefits

and GFX-EHP	Schedule Items Number 45524, 45527,

45528, 45542, 45552, 45554, 45555 only.

textured, formed or pre-shaped

Medical Vision Australia Pty Ltd

MF007	Pip Breast Implant Gel Filled	Asymmetric Textured Right	200cc to 450cc	$1,000.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MF008	Pip Breast Implant Gel Filled	Asymmetric textured Left	200cc to 450cc	$1,000.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

textured, formed or pre-shaped,silicone shell

Device Technologies Australia Pty Ltd

DE120	McGhan Style 410 & 410 Soft Touch Biodimensional 	Full, moderate or low height, Extra Full, Full, moderate or 	125 - 775 grams	$1,200.00	In strict accordance with the requirements of

Biocell Textured Cohesive Gel-filled Mammary Implant	low projection	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Prostheses List by Category, Groups and Sponsor	Page 782 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

valved, textured

Mentor Medical Systems

MN011	Mentor Saline Siltex Anterior Diaphragm 	Mammary Prothesis - Textured	125 to 475cc	$685.00	In strict accordance with the requirements of

ValveMammary Prosthesis	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

7.5.4.1.2 Mammary implants, Saline filled, 500cc - 650cc

high profile

Mentor Medical Systems

MN023	Smooth Round High Profile Saline-Filled Mammary 	Model 350-3170; Model 350-3190; Model 350-3210; 	170cc, 190cc, 210cc, 230cc, 250cc, 270cc, 	$715.00	Only to be funded where used in a service for

Prosthesis	Model 350-3230; Model 350-3250; Model 350-3270; 	290cc, 310cc, 330cc, 380cc, 420cc, 460cc, 	which a Medicare Benefit is payable.

Model 350-3290; Model 350-3310; Model 350-3330; 	500cc, 560cc, 630cc

Model 350-3380; Model 350-3420; Model 350-3460;

Model 350-3500; Model 350-3560; Model 350-3630

silcone shell, formed ,textured, valved

Device Technologies Australia Pty Ltd

DE030	Style 468 Biodimensional Saline-filled Mammary Implant	Silicone shell filled with saline	195 - 205 cm3 x 620 - 650 cm3	$950.00	$1,100.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

7.5.4.2 Mammary implants, Gel filled

Medical Device Alliance Pty Ltd

MP056	Silimed Anatomical Textured Mammary Implant	Anatomical shape, textured surface, silicone gel filled 	115cc to 600cc	$790.00	$1,050.00

mammary implant

Prostheses List by Category, Groups and Sponsor	Page 783 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.4.2.1 Mammary implants, Gel filled, < 500cc

High profile, silcone shell, textured

Device Technologies Australia Pty Ltd

DE106	Allergan Type MLP, MHP, TRL, TRM, TRF, TRX 	Low, Medium, High & Extra High profile, textured surface	80 - 800 grams	$760.00	In strict accordance with the requirements of

Low, Medium, High & Extra High Profile Gel-Filled 	the Medicare Benefits Schedule Items Number

Mammary Implant	45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

silicone shell, high profile

Device Technologies Australia Pty Ltd

DE104	Allergan Style 40, 45, SSL, SSM, SSF, SSX Intrashiel 	Round: low, medium, high & extra high profile	110 - 800 grams	$685.00	In strict accordance with the requirements of

Gel-Filled Round Mammary Implant	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

textured

Medical Vision Australia Pty Ltd

MF014	Pip Breast Implant Gel Filled	Round Textured Extra High profile	245cc to 495cc	$750.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

7.5.4.2.2 Mammary implants, Gel filled, 500cc - 650cc

Medical Vision Australia Pty Ltd

MF009	Pip Breast Implant Gel Filled	Round Smooth Standard profile	85cc to 705cc	$700.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MF010	Pip Breast Implant Gel Filled	Round Smooth High profile	90cc to 680cc	$700.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Prostheses List by Category, Groups and Sponsor	Page 784 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

formed or pre shaped

Surgiplas Medical

SP049	Gel Filled Mammary Prosthesis Models CoGel-XR, 	CoGel High Cohesive	100 to 790gm	$1,000.00	In strict accordance with Medicare Benefits

CoGel-XRH, CoGel-XL, CoGel- XM and CoGel XA	Schedule Items Number 45524, 45527,

45528, 45542, 45552, 45554, 45555 only.

silicone shell, high profile, textured

Device Technologies Australia Pty Ltd

DE102	McGhan Style 110 & 120 Biocell Textured, Intrasheild 	Round: Moderate or high profile	90 - 650 grams	$760.00	In strict accordance with the requirements of

barrier Gel-Filled Mammary Implant	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Textured

Medical Device Alliance Pty Ltd

MP060	Silimed Anatomical Polyurethane Breast Implant	Polyurethane coated silicone gel breast implant	115cc to 640cc	$790.00	$1,100.00

Medical Vision Australia Pty Ltd

MF006	Pip Breast Implant Gel Filled	Reconstruction Anatomical Textured	180cc to 600cc	$790.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MF011	Pip Breast Implant Gel Filled	Round textured Standard profile	85cc to 705cc	$700.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

MF012	Pip Breast Implant Gel Filled	Round Textured High profile	90cc to 680cc	$700.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

Prostheses List by Category, Groups and Sponsor	Page 785 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.4.2.3 Mammary implants, Gel filled, 651cc - 850cc

Textured

Medical Device Alliance Pty Ltd

MP059	Silimed Polyurethane Breast Implant	Polyurethane coated silicone gel breast implant	40cc to 695cc	$760.00	$780.00

7.5.4.2.5 Mammary implants, Gel filled, unspecified volume or various

silcone shell, high profile

Device Technologies Australia Pty Ltd

DE110	Allergan Type SLD, SHD, SRL, SRM, SRF, SRX 	Low, Medium, High or Extra High Profile	100 - 800 grams	$685.00	In strict accordance with the requirements of

Smooth Silicone Gel-filled Mammary Implant	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

silicone shell, high profile, textured

Device Technologies Australia Pty Ltd

DE109	Allergan styles CML, CMH, TSL, TSM, TSF, TSX	Silicone Cohesive Gel-Filled Breast Implant	80 - 800 grams	$790.00	In strict accordance with the requirements of

the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

7.5.4.3 Pectoral implant

Medical Device Alliance Pty Ltd

MP037	Pectoral Implants	Gel - Smooth surface	190cc - 300cc	$950.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.5.4.4 Intraclavicular implant

Medical Device Alliance Pty Ltd

MP036	Infraclavicular Implant	Infraclavicular Implant	14cc; 20cc; 38cc; 63cc; 122cc	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 786 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.5 Skin, artificial

7.5.5.1 Skin, artificial, small, 50cm2

Global Scientific Pty Ltd

GS205	Integra Artificial Skin	-	Small - 10 x 12.5cm	$1,900.00

GS285	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer 	5cm x 5cm	$900.00

membrane system for skin replacement made of a porous

matrix of fibers of cross-linked bovine tendon collagen and

glycosaminoglycan and polysiloxane layer.

7.5.5.2 Skin, artificial, medium, 50-149cm2

Global Scientific Pty Ltd

GS204	Integra Artificial Skin	-	Medium - 10 x 25cm	$2,900.00

GS286	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer 	10cm x 12.5cm	$1,140.00

membrane system for skin replacement made of a porous

matrix of fibers of cross-linked bovine tendon collagen and

glycosaminoglycan and polysiloxane layer.

7.5.5.3 Skin, artificial, large, 150-400cm2

Global Scientific Pty Ltd

GS206	Integra Artificial Skin	-	Large - 20 x 25cm	$5,634.00

GS287	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer 	10cm x 25cm	$1,740.00

membrane system for skin replacement made of a porous

matrix of fibers of cross-linked bovine tendon collagen and

glycosaminoglycan and polysiloxane layer.

Prostheses List by Category, Groups and Sponsor	Page 787 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.5.4 Skin, artificial, extra large, >400cm2

Global Scientific Pty Ltd

GS288	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer 	20cm x 25cm	$3,380.00

membrane system for skin replacement made of a porous

matrix of fibers of cross-linked bovine tendon collagen and

glycosaminoglycan and polysiloxane layer.

7.5.6 Testicular implant

Medical Device Alliance Pty Ltd

MP015	Testicular Implant	Silicone with holes for fixation 3230	5-38cc	$653.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

7.5.8 Tissue expanders

formed or pre-shaped,dual chamber, valved

Device Technologies Australia Pty Ltd

DE100	McGhan Style 150 Biodimensional Biocell Textured 	Full height, Short Height, t	9.6 -16cm width x 8 - 17cm height x 4.2 - 	$2,040.00	$2,420.00	In strict accordance with the requirements of

Expand Gel/Saline Filled Mammary Implant, Low Pole	7.1cm projection	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

7.5.8.1.1 Tissue expanders, skin or mammary, up to 850cc

Medical Device Alliance Pty Ltd

MP041	Tissue Expander	Double Chamber, Smooth, 	320-850	$1,050.00	Only to be funded where used in a service for

Remote port	which a Medicare Benefit is payable

Model # 730

Mentor Medical Systems

MN002	Expanders, skin	-	Volume 350cc - 800cc	$1,050.00	Only to be funded where used in a service for

which a medicare benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 788 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

two staged, valved

Medical Device Alliance Pty Ltd

MP044	Silimed Tissue Expander	Double chamber, textured, magnetic, with suture tabs. 	470mm-780mm	$1,050.00	Only to be funded where used in a service for

Catalogue number: 20799	which a Medicare Benefit is payable

valved

Medical Device Alliance Pty Ltd

MP042	Silimed Tissue Expanders	Anatomical shape, textured, remote port. Catalogue 	200ml-800ml	$1,050.00	Only to be funded where used in a service for

number: 20760	which a Medicare Benefit is payable

MP045	Tissue Expander	Crescent model, Smooth,	12-700ml	$1,050.00	Only to be funded where used in a service for

Remote Port	which a Medicare Benefit is payable

Models # 820, 827, 829

MP047	Silimed Tissue Expanders	Specialised shapes, smooth, remote port. Catalogue 	145ml-520ml	$900.00	Only to be funded where used in a service for

numbers: 830, 880	which a Medicare Benefit is payable

7.5.8.1.2 Tissue expanders, skin or mammary, 850cc up to 1250cc

Mentor Medical Systems

MN001	Mentor Radovan Tissue Expander	-	Volume 25cc - 1000cc	$670.00	Only to be funded where used in a service for

which a medicare benefit is payable.

valved

Medical Device Alliance Pty Ltd

MP040	Silimed Tissue Expanders	Various shapes, smooth, remote port. Catalogue numbers: 	1ml - 1000ml	$670.00	Only to be funded where used in a service for

80x, 81x, 82x, 807, 817, 741, 841, 851, 881, 861	which a Medicare Benefit is payable

MP046	Tissue Expander	Rectangular model, Smooth,	30-1000ml	$670.00	Only to be funded where used in a service for

Remote Port	which a Medicare Benefit is payable

Models # 810, 819, 817

valved, textured, 1000cc

Device Technologies Australia Pty Ltd

DE034	Allergan Biospan Tissue Expander	Silicone Elastomer. Saline filled.	150-950 cm3	$1,250.00	Only to be funded where used in a service for

which a medicare benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 789 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.8.1.3 Tissue expanders, skin or mammary, greater than 1251cc

two stage valved

Surgiplas Medical

SP010	Nagor Tissue Expander	Remote port - silicone shell	10 to 2000cc	$890.00	Only to be funded where used in a service for

which a Medicare benefit is payable.

7.5.8.1.4 Tissue expanders, skin or mammary, Custom

Medical Device Alliance Pty Ltd

MP043	Silimed Tissue Expander	Double chamber, textured, magnetic. Catalogue number: 	320ml-850ml	$1,500.00	Only to be funded where used in a service for

20739	which a Medicare Benefit is payable

valved, two stage

Mentor Medical Systems

MN013	Mentor Siltex Becker Expander/Mammary Prostheses	.	150, 200, 250, 300, 350, 400, 500, 600, 	$2,040.00	In strict accordance with the requirements of

700. 800cc	the Medicare Benefits Schedule Items Number

45524, 45527, 45528, 45542, 45552, 45554,

45555 only.

7.5.8.3 Tissue expanders, Ear

Medical Device Alliance Pty Ltd

MP049	Silimed Tissue Expanders	Auricular Model # 841, 847	16-55ml	$480.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

7.5.8.5 Tissue expanders, Finger

Medical Device Alliance Pty Ltd

MP051	Silimed Tissue Expanders	Finger Syndactylism Model # 851, 857	1-5ml	$420.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 790 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

7.5.8.6 Tissue expanders, Orbital

Medical Device Alliance Pty Ltd

MP048	Silimed Tissue Expanders	Ball Shaped Orbital Model # 741, 747	3-60ml	$480.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Bone Matrix Implants, Artificial

Biomet Australia Pty Ltd

BI487	Mimix Calcium Phosphate Bone Void Filler	Calcium Phosphate	5 grams	$1,004.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI488	Mimix Calcium Phosphate Bone Void Filler	Calcium Phosphate	10 grams	$1,900.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI489	Mimix Calcium Phosphate Bone Void Filler	Calcium Phosphate	20 grams	$2,300.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Stryker Australia Pty Ltd

SK232	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement. Sodium 	2.5gm pack	$650.00	Only to be funded where used in a service for

Phosphate Solution and Mixing Bowl included	which a Medicare Benefit is payable

SK233	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement. Sodium 	5gm pack	$1,250.00	Only to be funded where used in a service for

Phosphate Solution and Mixing Bowl included	which a Medicare Benefit is payable

SK234	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement. Sodium 	10gm pack	$1,920.00	Only to be funded where used in a service for

Phosphate Solution and Mixing Bowl included	which a Medicare Benefit is payable

SK235	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement. Sodium 	25gm pack	$3,960.00	Only to be funded where used in a service for

Phosphate Solution and Mixing Bowl included	which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 791 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Cristaline I Aptex/Vertex Paragel Very Cohesive Gel Implant

Surgeons Choice Australia Pty Ltd

SH003	Eurosilicone Breast Implants	Anatomical Cohesive Gel Breast Implants for Plastic and 	100cc to 500cc	$1,000.00	$1,150.00

Reconstrive Surgery

Cristalline Paragel Very Cohesive Gel Implant

Surgeons Choice Australia Pty Ltd

SH001	Eurosilicone Breast Implants	Textured Cohesive Gel Breast Implants for Plastic and 	100cc to 900cc	$725.00

Reconstructive Surgery

Implanted Circulation Monitor

William A Cook Australia Pty Ltd

WC264	SYSTEM-  Doppler Blood Flow Monitoring System. 	The Cook-Swartz Implantable Doppler Flow Probe is an 	Universal [one size]	$180.00	$390.00	Temporary Listing

COMPONENT - Cook-Swartz Implantable Doppler 	implantable 20MHz Probe with epoxy-coated Crystal and

Flow Probe	patented Silicone Cuff which provides continuous direct

vessel monitoring of microvascular anastomoses. A 30cm

wire with external Retention Tabs is attached to the 1mm

diamter Crystal.

Orthopedic Internal Fixation Systems

Synthes Australia Pty Ltd

SY344	Titanium Sternal Fixation System	Locking Plate - straight, H or star	Straight: 12 - 30 holes. H: small & large star: 	$1,480.00

6- 12 holes

SY345	Titanium Sternal Fixation System	Titanium Emergency Release Pin	One Size only	$110.00

SY347	Titanium Sternal Fixation System	Locking Plate - straight	20 or 30 holes	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 792 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthopedic Internal Fixation Systems, Fracture

Stryker Australia Pty Ltd

ST369	Luhr Fixation System 	Luhr Mandibular Compression System: curved, straight, 	Curved: 30,38, 45mm, Straight: 30, 40, 50, 	$152.00	Only to be funded where used in a service for

metacarpal plate Vitallium	60, 80mm, metacarpal: 41, 45mm	which a Medicare Benefit is payable

Orthopedic Internal Fixation Systems, Other

Biomet Australia Pty Ltd

BI472	Lorenz Pectus Bar	Pectus Bar, Stainless Steel	178-432mm	$1,256.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI483	Lorenz Pectus Bar	Stabilizer, Triangular or Elongated, Stainless Steel	One size only	$505.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI985	W Lorenz Osteosynthesis System	Plates Straight, 1.5, 2.0 or 1.0mm System	15 - 32 holes	$204.00	$350.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI986	Lorenz 2.4mm Locking Reconstruction System	Plates Plate, Angled 2.4mm System Ti	5 x (22 -24) hole	$1,100.00	$1,600.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BI987	Lorenz 2.4mm Locking Reconstruction System	Plates Plate, Angled 2.4mm System, Ti	5 x 11 hole	$1,100.00	$1,300.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgien Pty Ltd

BR001	OPRA System	Central screw - titanium	One size only	$1,860.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BR002	OPRA System	Healing cylinder - titanium	One size only	$3,150.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BR003	OPRA System	Healing screw - titanium	One size only	$2,460.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 793 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BR004	OPRA System	Fixture - titanium	16 - 20mm	$36,900.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BR005	OPRA System	Abutment - titanium	Length 47 - 77mm	$19,250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

BR006	OPRA System	Abutment screw - titanium	Length 57 - 87mm	$5,775.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Surgiplas Medical

SP029	OsteoMed Plating & Fixation System	Plates - Fracture; Screws - Cannulated Lag	6 Hole Fracture Plate 47 - 52mm; 2 x 2 Hole 	$330.00	Only to be funded where used in a service for

Angled Fracture Plate; 3 x 3 Hole Angled 	which a Medicare Benefit is payable.

Fracture Plate; 6.5mm x (30 -150)mm;

7.3mm x (30 - 150)mm

SP032	OsteoMed Plating & Fixation System	Lag Screws - Maxi, MMF, 3.0mm	2.4mm x (8 - 42)mm; 2.4 x (12 - 18)mm; 	$80.00	Only to be funded where used in a service for

3.0mm x (12 - 36)mm;	which a Medicare Benefit is payable.

SP035	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (6 - 16)mm; 2.4mm x (6 - 20)mm	$220.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

SP036	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (18 - 42)mm; 2.4mm x (22 - 50)mm	$260.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

SP037	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (10 x 28)mm; 4.0mm x (12 - 30)mm	$210.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

SP038	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (30 x 40)mm; 4.0mm x (32 - 52)mm	$250.00	Only to be funded where used in a service for

which a Medicare Benefit is payable.

Paragel Cohesive Gel Implant

Surgeons Choice Australia Pty Ltd

SH002	Eurosilicone Breast Implants	Round Cohesive Gel Breast Implants for Pastic and 	100cc to 900cc	$685.00

Reconstructive Surgery

Prostheses List by Category, Groups and Sponsor	Page 794 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Prostheses, Dental, Implantable

Neoss Australia Pty Ltd

NJ009	Neoss Implant	Healing Abutment with Screw	universal	$70.00	Only to be funded where used in a service for

which a Medicare Benefit is payable

Prostheses, Finger/Thumb

Medical Device Alliance Pty Ltd

MP011	Phalangeal Joint Implant	Flexible monoblock implant to restore finger articulation, 	00-7	$434.00	Only to be funded where used in a service for

2001	which a Medicare Benefit is payable.

Reconstruction Sheeting, Plastic Surgery

Medical Vision Australia Pty Ltd

MF034	Sphere	Orbital Sphere Models 6316, 6326, 6327, 6317 and 6322	Orbital Sphere Models 6316: 14mm, 6326: 	$713.00	Only to be funded where used in a service for

8702-8704. COI implant, models 7222, 7223 & 80026. 	16mm, 6327: 18mm, 6317: 20mm, 6322: 	which a Medicare Benefit is payable

MCOI implant, models 7207 - 7209 Quad Motility 	22mm, 8702: 19mm, 8703: 21mm, 8704:

Implants 9866 - 9868 & 80022	23mm, COI Implants 7222: Approx 4ml,

7223: Approx 5ml, 80026: Approx 6ml,

MCOI 7207: Approx 3ml, 7208: Approx

4.2ml,  7209: Approx 5.6ml, QUAD Motility

Small 16ml, Medium: 18ml, Large: 20ml,

Extra Large: 22ml.

Skin expander

Medical Device Alliance Pty Ltd

MP052	Silimed Tissue Expander	various shapes, textured, magnetic port	150ml-1000ml	$890.00	$900.00

Prostheses List by Category, Groups and Sponsor	Page 795 of 869

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MP053	Silimed Tissue Expander	Various shapes, smooth, ,magnetic port	150ml-1000ml	$820.00

MP054	Silimed Tissue Expander	Anatomical superior-pole/inferior-pole shape, textured, 	200ml-840ml	$1,100.00

magnetic

MP055	Silimed Tissue Expander	Various shapes, smooth, textured, remote port	12ml - 1000 ml	$750.00

Medical Vision Australia Pty Ltd

MF053	PMT Integra tissue expander	Tissue/skin Expander	5cc to 1400cc	$1,250.00

Tissue Reconstructive Materials

Medical Device Alliance Pty Ltd

MP057	Silimed Textured Mammary Implant	Textured surface silicone gel mammary implant	40cc to 695cc	$650.00

MP058	Silimed Smooth Mammary Implant	Smooth surface silicone gel mammary implant	80cc to 1000cc	$570.00

Prostheses List by Category, Groups and Sponsor	Page 796 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 1- Urogenital - Incontinence Products

Endotherapeutics Pty Ltd

ET057	Flow Secure Artificial Urinary Sphincter	Artificial Urinary Sphincter with conditional occlusion, 	One Size	$10,000.00

inflatable hydraulic device

Group 1a - Incontinence: inflatable

American Medical Systems

AM001	AMS 800 Artificial Urinary Sphincter Cuff	Occlusive Cuff	Size: 4, 4.5, 5, 5.5, 6, 6.5, 7, 7.5, 8, 9, 10, 	$2,614.00

11cm

AM002	Acticon Artificial Bowel Sphincter Cuff	Occlusive Cuff	9, 10, 11, 12, 13, 14cm (available in both 	$3,574.00

2.0cm & 2.9cm widths)

AM021	AMS 800 Artificial Urinary Sphincter Cuff	Silicone cuff for artificial urinary sphincter. For the 	4.0cm - 11.0cm (increases in 0.5cm sizes)	$2,614.00

implantation of the second cuff for the AMS 800.

AM028	AMS 800 Artificial urninary sphincter Pressure 	Pressure Regulating Balloon	51 - 60cm, 61 -70cm, 71 - 80cm	$2,057.00

Regulating Balloon

AM029	AMS 800 Artificial Urinary Sphincter Pump	Control Pump	One size	$4,947.00

AM030	AMS 800 Artificial Urinary Sphincter Accessory Kit	Accessory Kit	One Size	$689.00

AM032	Acticon Artificial Bowel Sphincter Pump	Control Pump	One Size	$6,432.00

AM033	Acticon Artificial Bowel Sphincter Pressure Regulating 	Pressure Regulating Balloon	81-90cm, 91-100cm, 101-110cm, 111-120cm	$3,500.00

Balloon

AM034	Acticon Artificial Bowel Sphincter Accessory Kit	Accessory Kit	One Size	$689.00

Medical Device Alliance Pty Ltd

MP001	Inflatable Periurethral Constrictor	Consists of a membrane, filler product and silicone tube	One size only	$1,225.00

Prostheses List by Category, Groups and Sponsor	Page 797 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 1b - Incontinence: adjustable balloon

Uromedica Asia-Pacific Pty Ltd

UO001	Adjustable Continence Therapy for Women	ACT Device: Prosthesis designed for the treatment of 	6 - 14cm	$4,145.00

female SUI comprising of a single silicone balloon attached

via a conduit to titanium and rubber ports allowing for post

operative adjustment.

UO002	Adjustable Continence Therapy device for women	ACT Device: prosthesis designed for the treatment of 	6 - 14cm	$8,290.00

female SUI comprising of silicone balloons x 2 attached via

a conduit to titanium and rubber ports allowing for post

operative adjustment.

UO003	Adjustable Continence Therapy for Men	ProACT Device: prosthesis designed for the treatment of 	6 - 14cm	$8,290.00

male SUI comprising of silicone balloons x2 attached via a

conduit to titanium and rubber ports allowing for post

operative adjustment.

UO004	Adjustable Continence Therapy for Men	ProACT Device: Prosthesis designed for the treatment of 	6 - 14cm	$4,145.00

male SUI comprising of a single silicone balloon attached

via a conduit to titanium and rubber ports allowing for post

operative adjustment.

Group 1c - Incontinence: sling, male, synthetic

American Medical Systems

AM017	InVance Male Sling System	Kit includes inserter with shaft, 6 bone screws with suture 	One Size	$5,718.00

and silicone-coated sling surgical mesh

AM048	AMS AdVance Male Sling	Sub-urethral sling implant for treatment of male stress 	Arm width - 1.2cm, Centre width - 3.55cm, 	$5,718.00

urinary incontinence.  Made from polypropylene 	Length - 35.5cm

monofilament mesh

Endotherapeutics Pty Ltd

ET050	ARGUS	Adjustable Male Sling made of silicone adjustable self 	One size only	$5,616.00

fixating columns and urethral cushion

Prostheses List by Category, Groups and Sponsor	Page 798 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 1e - Incontinence: sling, female, synthetic

American Medical Systems

AM014	Sparc Sling System	Polypropylene mesh sling, two needles with rotating 	One size only	$860.00

handles, two cystoscopy aids

AM019	MONARC Sling System	Product includes - mesh and two needles with handles 	One Size Only	$865.00	$990.00

attached

AM049	Mini ArcTM Single-Incision Sling System	The MiniArcTM Single Incision Sling System is intended 	8.5cm	$865.00

for the placement of a suburethral sling for the treatment of

female stress urinary incontinence (SUI) resulting from

urethral hypermobility and/or intrinsic sphincter deficiency.

The MiniArc sling kit is comprised of an 8.5 cm

monofilament macroporous Type I polupropylene mesh

with a small integrated self-fixating tips that are made of

polypropylene, and a curved needle that inserts into the

self-fixating tip for advancement and placement of the sling.

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS120	IVS Tunneller-Intravaginal Tunneller System	IVS Tunneller System Trans Obuturator with two stylets 	50 cm (mesh)	$860.00	$979.00

and polypropylene mesh

Boston Scientific Australia Pty Ltd

BS078	Advantage Transvaginal Mid-Urethral Sling System	Polypropylene smooth mesh material	One size only	$817.00

BS096	Lynx Suprapubic Mid-Urethral Sling System	Polypropylene smooth mesh material	One size only	$817.00

BS097	Obtryx Transoburator Mid-Urethral Sling System	Polypropylene smooth mesh material	One size only	$817.00

BS127	Polyform Synthetic Mesh	Synthetic Polypropylene mesh	100 sq cm to 500 sq cm.	$390.00

BS140	Advantage Fit Transvaginal Mid-Urethral Sling System	Polypropylene smooth mesh material	One size only	$817.00

Coloplast Pty Ltd

CT013	Aris Transobturator Sling System	Sling System for female stress urinary incontinence	One Size	$865.00

Prostheses List by Category, Groups and Sponsor	Page 799 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE283	Desara Urogenital Sling	Sling for Female Stress Urinary Incontinence and Vaginal 	1.1cm x 4.5cm	$699.00

Vault Prolapse

Endotherapeutics Pty Ltd

ET043	Safyre Autofixation System	Urinary incontenence sling made of polydimethysiloxane 	One size only	$860.00	$1,000.00

and polyproplene

ET059	TOA/TVA SLING, TRANSVAGINAL TRANS-	SLING FOR THE TREATMENT OF FEMALE STRESS	ONE SIZE	$865.00	$950.00

OBTURATOR APPROACH	 URINARY INCONTINENCE WITH INTRA AND

POST-OPERATIV ADJUSTABILITY

Gytech Pty Ltd

GP001	Cousin Biotech Intramesh L.I.F.T	Polypropylene Mesh	One size only	$551.00

Jecoli Pty Ltd

JO009	T-Sling / Uromesh	Polypropylene Sling	1.1 x 45cm	$850.00

Johnson & Johnson Medical Pty Ltd

JJ070	TVT (Tension-Free Vaginal Tape) Single use device	Undyed Prolene (polypropylene) nonabsorbable tape	11 x 450mm	$865.00

JJ442	Gynecare TVT-O	Items included are: Gynecare TVT Obturator device, Two 	1.1x45 cm	$865.00

Gynecare TVT Helical Passers and a Gynecare TVT

Atraumatic Winged Guide.  The device component of the

system consists of undyed or blue Prolene Polypropylene

Mesh

JJ775	GYNECARE TVT SECUR	The GYNECAGE TVT SECUR System consists of a 	Mesh measures 1.1cm x 8cm in length	$865.00

device, 2 Inserters (with finger pads and a release wire), 1

Protective cover, and 1 plastic delivery tray

Kvinno Centre Pty Ltd

KV001	TFS Tissue Fixation System	TFS Tissue Fixation System	One Size Only	$850.00

Medical Specialties  Australia Pty Ltd

MS051	TiLoop	Tension-free pelvic floor titanised tape for pelvic floor 	tape, fix, two, four	$850.00	$1,200.00

reconstruction.  Composition: Prosthetic warp-knitted

fabric made of monofil polypropylene threads with an

encapsulating titanic coating

Prostheses List by Category, Groups and Sponsor	Page 800 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Southern Surgical Distribution Pty Ltd

DS001	Serasis TO Stress Incontinence system	Blue Polypropylene monofilament tape with looped edges. 	55 cm tape	$699.00

(Trans obturator approach)	Tape only

Group 1f - Incontinence: sling, female, biological

William A Cook Australia Pty Ltd

WC215	Stratasis-TF Urethral Sling Kit	Tension free sling made from SIS (sub-intestinal mucosa).  	2cm x 40cm	$1,090.00

One SIS sling with attached ligatures and two ligature

carriers with removable handles

Group 1g - Incontinence: injectable, synthetic

Australasian Medical & Scientific Ltd

AN007	Coaptite	Calcium hydroxylapatite spheres suspended in an aqueous 	1 ml syringe	$520.00

gel carrier, Coaptite is an injectable synthetic tissue

reconstructive material

Endotherapeutics Pty Ltd

ET011	Macroplastique	Sterile, textured, highly cross linked polydimethylsiloxane 	1.3 ml	$690.00	$1,008.00

elastomer implants suspended in a bio-excretable carrier gel.

ET053	Macroplastique	Sterile, textured, highly cross linked polydimethylsiloxane 	2.5ml Implants	$1,328.00	$1,800.00

elastomer implants suspended in a bio-excretable carrier gel.

Johnson & Johnson Medical Pty Ltd

JJ802	BULKAMID Urethral Bulking System	Transparent polyacrylamide gel for female urinary 	2 x 1ml syringes, 2 x BULKAMID 23G 	$1,175.00

incontinence. Kit comprises 2 syringe, 2 needles, 1 	needles, 1 x disposable sheath

applicator

Lifehealthcare Pty Ltd

LH376	Durasphere SUI	Injectable Bulking agent for Stress Urinary Incontinence	1ml	$531.00

LH379	Durasphere SUI	Injectable Bulking agent for Stress Urinary Incontinence	3ml	$1,593.00

Prostheses List by Category, Groups and Sponsor	Page 801 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 1h - Incontinence: injectable, biological

Bard Australia Pty Ltd

BA041	Contigen Cross Linked Collagen 	Contigen Bard Collagen Implant for Stress Urinary 	2.5cc per syringe	$669.00	$674.00

Incontinence

Group 2 - Urogenital - Ureteric Stents

Applied Medical Australia Pty Ltd

MH010	Silhouette Ureteral Stent	The Silhouette Ureteric Stent is manufactured with a soft 	Multiple French Sizes & Lengths	$140.00

material that provides superior comfort.  It has superior

column strength through a coil-reinforced body providing

effortless placement.  The tight coils prevent migration.  The

smaller outside diameter of 4F with inner diameter

comparable to 6F standard stents provides exceptional

drainage.  SL-6 hydrophilic coating further facilitates

placement.

Group 2a - Ureteric stents: fixed length, polyurethane

William A Cook Australia Pty Ltd

WC027	Polyurethane Double Pigtail Stent Set	Multiple French Sizes and Lengths	$180.00

P

William A Cook Australia Pty Ltd

WC022	C-Flex Double Pigtail Ureteric Stent Set	Set includes: Stent, Wire, Positioner	Multiple French Sizes, Multi-length	$180.00

Sp

William A Cook Australia Pty Ltd

WC018	C-Flex Endoureteratomy Stent Set	6.0/10.0 Fr, & 7.0/14.0 Fr, Multiple Length	$241.00

Suffix SP

William A Cook Australia Pty Ltd

WC236	Paterson-Forrester Subcutaneous Urinary Diversion Stent	Subcutaneous Urinary Diversion Stent	Stent 8.5 French, 65cm long	$286.00

Prostheses List by Category, Groups and Sponsor	Page 802 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

T

N Stenning  & Co Pty  Ltd

NG030	Paediatric Ureteric Valve Stent Set	Open end with introducer and guidewire, Polyurethane	12 - 22cm	$197.00

NG031	Paediatric Ureteric Integral Stent Set	Open end with introducer and guide wire, Polyurethane	12 - 22cm Per pack of 5	$197.00

NG032	DD Ureteric Stent Set	Open end with introducer and guide wire	22 - 30cm Per pack of 2	$238.00

NG046	Paediatric Ureteric Valve Stent Set	Fixed length wirthan stent	12 - 22cm	$197.00

William A Cook Australia Pty Ltd

WC214	Cook Ureteral Stents	Amplatz Ureteral Stent Set, Ultrathane RB Design 	8.5Fr - 12,20,22,24,26,28cm and 10.2Fr - 	$243.00

Radioplaque Band and AQ Hydrophilic Coating Set 	22,24,26,28cm

includes one stent positioner with flexible stent introducer

catheter

Group 2b - Ureteric stents: fixed length, other synthetic

Applied Medical Australia Pty Ltd

MH012	Silhouette System Ureteral Stent Set	Coil reinforced body.  SL-6 hydrophilic coating.  UroWire 	Mulitple French Sizes & Lengths	$198.00

0.035" 3-in-1 guidewire with kink resistant nitinol core.

Design divided into 3 sections: silver section (front end)

floppy SL - 6 hydrophilic coating; Blue section (mid) super

stiff PTFE (not hydrophicaly coated); and Green section

(back) flexible

Boston Scientific Australia Pty Ltd

BS038	Polaris Ureteral Stents	Dual durometer ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	$214.00

BS086	Polaris Ultra Ureteral Stent	Dual durometer ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	$214.00

BS091	Percuflex; Percuflex Plus; Percuflex Tail; Percuflex Tail 	Ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	$214.00

Plus Ureteral Stents.

BS093	Retromax Plus Ureteral Stent	Ureteral stent	Diameters up to 14Fr & lengths up to 40cm	$214.00

BS116	Polaris Loop Ureteral Stent	Dual durometer ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	$214.00

Prostheses List by Category, Groups and Sponsor	Page 803 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Gyrus Australasia Pty Ltd

GY086	Ureteral Stents 	Diversion Stent, silicone	7 - 8.5 F x 90cm	$177.00

William A Cook Australia Pty Ltd

WC273	Ureteric Stent Set	Set includes soft Aqueous Coated (AQ) ureteric stent, 	Multiple French Sizes and Lengths	$198.00

positioner, with or without wire guide

P

Applied Medical Australia Pty Ltd

MH013	Paediatric Silhouette System Set	Coil reinforced body.  SL-6 hydrophilic coating.  UroWire 	4F, 8 - 12cm	$245.00

0.035" 3-in-1 guidewire with kink resistant nitinol core.

Design divided into 3 sections: silver section (front end)

floppy SL - 6 hydrophilic coating; Blue section (mid) super

stiff PTFE (not hydrophicaly coated); and Green section

(back) flexible

SP

Applied Medical Australia Pty Ltd

MH003	Acucise RP35 Procedural Pack	Composition: Polypropylene & Titanium	One size only	$2,860.00	Temporary approval

MH007	Acucise RP35 Procedural Starter Pack	Polypropylene and Titanium	One Size Only	$3,328.00	Temporary approval

William A Cook Australia Pty Ltd

WC024	Ultrathane Endoureteratomy Stent Set	6/9.5 Fr & 7/14.0Fr , Multiple Length	$234.00

T

Boston Scientific Australia Pty Ltd

BS092	Contour Ureteral Stent	Ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	$214.00

N Stenning  & Co Pty  Ltd

NG028	DD Ureteric Tumor Stent Set	Open/Closed end with introducer and guide wire, 	20 - 28cm	$123.00

Polyurethane

NG029	DD Ureteric Valve Stent Set	Open end with introducer and guide wire, Polyurethane	22 - 30cm	$142.00

Prostheses List by Category, Groups and Sponsor	Page 804 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 2c - Ureteric stents: fixed length, other synthetic thermosensitive

William A Cook Australia Pty Ltd

WC130	Ureteric Stent Set	Set includes Aqueous Coated (AQ) firm fixed length 	Multiple French Sizes, and Lengths	$261.00

ureteric stent, positioner, with or without wire guide

WC131	Endo-sof double pigtail stent Set with AQ Hydrophilic 	Multiple French Sizes and Lengths	$261.00

Coating and Sideholes

WC170	Endo-Sof Double Pigtail Ureteral Stent Set	 Stent and Positioner only	Multiple French Sizes and Lengths	$184.00

WC172	Endo-Sof Double Pigtail Ureteral Stent Set	Endo-Sof Double Pigtail Stent Set	Multiple French Sizes and Lengths	$204.00

Group 2d - Ureteric stents: fixed length, metal

Endotherapeutics Pty Ltd

ET055	Memokath Ureteric Stent	Memokath Model 051CW.	30mm - 200mm	$3,778.00

T

William A Cook Australia Pty Ltd

WC226	RESONANCE Metallic Ureteral Stent Set	Metallic Double Pigtail Stent	 6 Fr, Multiple Lengths	$1,720.00

Group 2e - Ureteric stents: multilength polyurethane

Bard Australia Pty Ltd

BA044	Ureteral Stent	Bard Inlay Hydrophilic coated Pigtail Ureteric stent without 	(Inlay) 4.7Fr 14, 20, 22, 24, 26, 28cm.  6Fr- 	$199.00

guidewire; Bard Flouro 4 Silicone Multilength ureteric stent 	14, 20, 22, 24, 26, 28cm  7Fr 14, 20, 22, 24,

with guidewire; Urinary Diversion Stent All Silicone	 26, 28cm  8Fr- 14, 20, 22, 24, 26, 28cm.

(Flouro) Multilength  4,6,7,and 8fr.

(Diversion)  7Fr x  90cm  &  8Fr  x 90cm.

Device Technologies Australia Pty Ltd

DE280	Double Pigtail Ureteral Stent Set	Ureteral Stent	5FR, 6FR, 7FR - various lengths 22-30cm	$120.00

William A Cook Australia Pty Ltd

WC020	Towers Peripheral Ureteral Stent Set	Multiple French Sizes Multi-length	$214.00

Prostheses List by Category, Groups and Sponsor	Page 805 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

P

William A Cook Australia Pty Ltd

WC218	C-Flex Multilength Ureteric Stent Set	Set includes: Paediatric Stent, Wire, Positioner	3.7 Fr, Multiple Lengths	$254.00

WC219	C-Flex Double Pigtail Ureteric Stent Set	Set includes: Paediatric Stent, Wire and Positioner	3.7 Fr, Multilple Lengths	$254.00

Suffix SP

William A Cook Australia Pty Ltd

WC237	Radiance Ureteric Stent Set	Synthetic Thermosensitive Ureteral Stent Set with Heparin 	Multiple French Sizes and Lengths	$261.00	$312.00

Coating

Group 2f - Ureteric stents: multilength other synthetic

Boston Scientific Australia Pty Ltd

BS094	Contour VL; Stretch VL Flexima; Ureteral Stents	Ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	$212.00

Gyrus Australasia Pty Ltd

GY084	Ureteral Stents 	Single J Ureteric Stent, silicone	7 - 8.5 F x 90cm	$177.00

GY085	Ureteral Stents	Double J Ureteric Stent, silicone	6-8.5 F, 12 - 24 cm	$196.00

GY089	Quadra-Coil Multi Length Ureteral Stent	Tecoflex polymer, hydrophilic coating/PTFE coating	4.5F-8.5F x length 22 - 28cm	$139.00	$178.00

William A Cook Australia Pty Ltd

WC002	Sof-Flex Multi-length Ureteric Stent Set	Set includes Stent, Wire, Positioner	Multiple French Sizes, Multi-length	$198.00

WC003	Sof-Flex Multi-length Ureteric Stent Set	Stent and Positioner only	Multiple French Sizes, Multi-length	$198.00

WC104	Cook Ureteral Stent - Sof-Flex Double Pigtail Stent Set 	Radiopaque Sof-Flex Stent, Stainless Steel Wire Guide, 	Multiple French Sizes and Lengths	$228.00

- Special	Radiopaque Polyurethane Catheter and Radiolucent Vinyl

Positioner

WC140	Filiform Multi-Length Silicone Stent Set	Stent, Wire, Positioner	Multiple French Sizes and Lengths	$265.00

WC147	Kwart Retro-Inject Stent Set	Stent, Wire, Inserter, Release Sleeve	Multiple French Sizes and Lengths	$198.00

WC149	Sof-Flex Double Pigtail Ureteric Stent Set	Stent and Positioner only	Multiple French Sizes and Lengths	$198.00

WC150	Sof-Flex Double Pigtail Ureteric Stent Set	Set includes: Stent, Wire, Positioner	Multiple French Sizes and Lengths	$198.00

WC272	Ureteric Stent Set	Set includes soft Aqueous Coated (AQ) ureteric stent, 	Multiple French Sizes, multi-length	$198.00

positioner, with or without wire guide

Prostheses List by Category, Groups and Sponsor	Page 806 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

P

William A Cook Australia Pty Ltd

WC217	Sof-Flex Multilength Ureteric Stent Set	Set includes: Paediatric Stent, Wire, Positioner	3 Fr, Multiple Lengths	$259.00

WC220	Sof-Flex Double Pigtail Ureteric Stent Set	Set includes: Paediatric Stent, Wire, Positioner	3 Fr, Multiple Lengths	$259.00

Suffix SP

William A Cook Australia Pty Ltd

WC023	Greene Renal Transplant Stent Set	Transplant stent set	Multiple French Sizes, Multi-length	$243.00

T

William A Cook Australia Pty Ltd

WC138	Filiform Double Pugtail Silicone Stent Set	Stent, Wire, Positioner	Multiple French Sizes and Lengths	$265.00

WC143	Filiform Double Pigtail Silicone Stent Set	Stent and Positioner only	Multiple French Sizes and Lengths	$265.00

Group 2g - Ureteric stents: multilength other synthetic thermosensitive

William A Cook Australia Pty Ltd

WC035	Ureteric Stent Set	Set includes Aqueous Coated (AQ) firm multilength ureteric	Multiple French Sizes, Multi-Length	$261.00

stent, positioner, with or without wire guide

WC169	Endo-Sof Multi-length Ureteral Stent Set	Endo-Sof Multilength Stent Set	Multiple French Sizes and Lengths	$204.00

WC171	Endo-Sof Multi-Length Ureteral Stent Set	Stent and Positioner only	Multiple French Sizes and Lengths	$184.00

Group 2i - Ureteric stents: urinary diversion

Boston Scientific Australia Pty Ltd

BS095	Urinary Diversion Stents	Percuflex urinary diversion stent	Diameters up to 14Fr & lengths up to 95cm	$212.00

Pyramed (Australia) Limited

PY001	Optimed Ureteric Stents	Soft-Polyurethane. Ureteral. Paediatric Ureteral. Renal 	Ureteral 4.5 x 28,30,32 cm; 6 x 26,28,30,32 	$212.00

Transplantation. Urinary Diversion.	cm; 7 x 26,28,30,32 cm. Paediatric Ureteral 8

x 28,30,32 cm. Renal Transplantation 4 x

10,12,14,16 cm; 6 x 12,14,16 cm; 7 x

12,14,16 cm. Urinary Diversion 8 x 12,14,16

cm.

Prostheses List by Category, Groups and Sponsor	Page 807 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

William A Cook Australia Pty Ltd

WC031	Bander Ureteral Diversion Stent Set	Left or right stent	Multiple French Sizes and Lengths	$132.00

WC128	Bander Ureteral Diversion Stent Set	Left and Right Stents	Multiple French Sizes and Lengths	$212.00

Group 3 - Urogenital - Urethral Stents

Group 3a - Urethral stents : Metal, expandable

American Medical Systems

AM003	Urolume Plus TM Endo Urethral prostheses                    	Endourethral wall stent for urethral strictures, DESD and 	Range: 1.5 - 4.0cm	$2,475.00	When provided in association with Medicare

BPH	Benefits Schedule Item Number 36811 only.

Bard Australia Pty Ltd

BA042	Memotherm Prostatic Stents	Memotherm Prostatic Urethral wall Stent	36Fr, 20mm to 60mm in 5mm increments; 	$2,475.00	When provided in association with Medicare

42Fr, 20mm to 60mm in 5mm increments	Benefits Schedule Item Number 36811 only.

Endotherapeutics Pty Ltd

ET054	Memokath Prostatic - Urethral Stents	Memokath Models: 028S, 028SW, 028T, 028TW, 044T, 	 5mm - 90mm	$2,475.00

044TW, 045T, 045TW, 045TTW

Group 3b - Urethral stents : paediatric

William A Cook Australia Pty Ltd

WC126	Firlit-Kluge Uretheral Stent	Firlit-Kluge uretheral stent	Multiple French Sizes, Length 30cm	$58.00

WC136	Kaontz Urethral Stent	Kaontz Urethral Stent	Multiple French Sizes, Length 12cm	$49.00

WC137	Pediatric Urethral C-Stent	Pediatric Urethral C-Stent	Multiple French Sizes, Length 15cm	$49.00

WC162	Tarkington Urethral Stent Set	Stent, Wire	8 Fr	$81.00

Group 4 - Urogenital - Reconstructive Material

Group 4a - Urogenital Reconstructive Material : synthetic

American Medical Systems

AM013	Triangle Sling with surgical mesh	Silicone Coated sling with surgical mesh, used in sling 	10 x 10cm - 144 x 144cm	$677.00

procedures for treatment of stress urinary incontinence.

AM023	IntePro Large Pore Polypropylene Y-Sling	Large pore polypropylene mesh	One size	$677.00

Prostheses List by Category, Groups and Sponsor	Page 808 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AM026	Perigee Transobturator Anterior Prolapse Repair System	4 helical shaped needles with handles, 4 synthetic graft arms	One size	$1,353.00

enclosed in plastic with a centre "cape" mesh.

AM027	Apogee Vault Suspension System	2 stainless steel curved needles with handles, a large pore 	One size	$1,322.00

polypropylene mesh attached in the centre of a

polypropylene mesh enclosed in plastic sheaths and two

dilating conectors.

Boston Scientific Australia Pty Ltd

BS131	Pinnacle PFR Kit	Synthetic Polypropylene mesh assembly and fixation device	One Size	$2,540.00

Coloplast Pty Ltd

CT014	NovaSilk Polypropylene Mesh	knitted monofilament polypropylene mesh	15cm x 15cm - One Size	$310.00

Johnson & Johnson Medical Pty Ltd

JJ434	GYNECARE GYNEMESH* PS	Gynecare Gynemesh* PS is a non-absorbable Prolene soft 	10cm x 15cm	$140.00	$405.00

mesh indicated for tissue reinforcement and long lasting

stabilisation of fascial structures of the pelvic floor in vaginal

wall prolapse. Gynemesh PS* is constructed of knitted

filaments of extruded polypropylene identical in composition

to Prolene* polypropylene suture. It is packaged sterile,

one 10 x 15cm piece per box.

JJ459	GYNECARE GYNEMESH* PS	Gynecare Gynemesh* PS is a non-absorbable Prolene soft 	25cm x 25cm	$310.00	$1,050.00

mesh indicated for tissue reinforcement and long lasting

stabilisation of fascial structures of the pelvic floor in vaginal

wall prolapse. Gynemesh PS* is constructed of knitted

filaments of extruded polypropylene identical in composition

to Prolene* polypropylene suture. It is packaged sterile,

one 25 x 25cm piece per box.

JJ476	Gynecare Prolift Pelvic Floor Repair System	Pre-cut gynemesh PS and single use instruments for mesh 	PFRT01	$2,540.00

placement

JJ477	Gynecare Prolift Pelvic Floor Repair System	Pre-cut gynemesh PS and single use instruments for mesh 	PFRA01	$1,333.00

placement

JJ478	Gynecare Prolift Pelvic Floor Repair System	Pre-cut gynemesh PS and single use instruments for mesh 	PFRP01	$1,322.00

placement

Prostheses List by Category, Groups and Sponsor	Page 809 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ676	GYNECARE PROSIMA  Anterior Pelvic Floor Repair 	Precut gynaemesh PS and single use instruments for mesh 	1 x Pieces of GYNECARE GYNEMESH 	$1,322.00	$1,333.00

System	placement. Includes vaginal support device	PS* Mesh (approximately 80mm x 60mm).  1

x Vaginal Support Device, 1 x Syringe, 1 x

Posterior  Inserter

JJ679	GYNECARE PROLIFT + M Anterior Pelvic Floor 	Pre-cut GYNECARE GYNEMESH M* Partially 	One size only	$1,333.00

Repair System	Absorbable mesh and single use instruments for mesh

placements

JJ745	GYNECARE PROSIMA Combined Pelvic Floor Repair	Pre-cut gynemesh PS and single use instruments for mesh 	2 x Pieces of GYNECARE GYNEMESH 	$2,540.00

System	placement	PS* Mesh (approximately 80mm x 60mm).  1

x Vaginal Support Device, 1 x Syringe, 1 x

Anterior Inserter, 1 x Posterior Inserter

JJ746	GYNECARE PROSIMA Posterior Pelvic Floor Repair 	Pre - Cut gynemesh PS and single use instruments for mesh	1 x Pieces of GYNECARE GYNEMESH 	$1,333.00

System	 placement	PS* Mesh (approximately 80mm x 60mm).  1

x Vaginal Support Device, 1 x Syringe, 1 x

Posterior  Inserter

JJ747	GYNECARE PROLIFT+M combined Pelvic Floor 	Pre-cut GYNECARE GYNEMESH M* Partially 	One Size Only	$2,540.00

Repair System	Absorbable mesh and single use instuments for mesh

placement

JJ748	GYNECARE PROLIFT+M Posterior Pelvic Floor 	Pre-cut GYNECARE GYNEMESH M* Partially 	Once Size Only	$1,322.00

Repair System	Absorbable mes and single use instruments for mesh

placement

JJ789	GYNECARE GYNEMESH	Pelvic floor reconstructive material, lightweight mesh	25 x 25 cm	$677.00

JJ790	GYNECARE GYNEMESH PS	Pelvic floor reconstructive material, lightweight mesh	10 x 15 cm	$310.00

Q-Med (Sweden) Australia Pty Ltd

QM001	Deflux	Deflux is a sterile, highly viscous gel of dextranomer 	1ml in syringe	$1,000.00

microspheres and non-animal stabilised hyaluronic acid

constituting a biocompatible and biodegradable implant for

the treatment of vesicoureteral reflux.  The stabilised

hyaluronic acid acts mainly as a carrier, leaving the

dextranomer microspheres at the implant site.  They are

gradually surrounded by host connective tissue.

Prostheses List by Category, Groups and Sponsor	Page 810 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

QM002	Deflux and Metal needle kit	Deflux is a sterile, highly viscous gel of dextranomer 	1 ml syringe and needle size 3.7FR x 23G x 	$1,130.00

microspheres and non-animal stabilised hyaluronic acid 	350mm

constituting a biocompatible and biodegradable implant for

the treatment of vesicoureteral reflux. The stabilised

hyaluronic acid acts mainly as a carrier, leaving the

dextranomer microspheres at the implant site.  They are

gradually surrounded by host connective tissue. 3.7FR x

23G x 350mm Metal Needle.

William A Cook Australia Pty Ltd

WC245	Surgisis Biodesign Recto-Vaginal Fistula Plug	Small intesting submucous porcine collagen matrix, non-	2mm width x 5.5cm length; 4mm wide 	$1,000.00

crosslinked, supports native tissue remodelling, healing and 	tapering to 2mm wide x 5.5cm length; 7mm

closure of recto-vaginal fistulas. Conical shpe with attached 	wide tapering to 2mm wide x 5.5 length.

button.

Group 4b - Urogenital Reconstructive Material : biological

Bard Australia Pty Ltd

BA149	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	4 x 18cm x 1.0mm	$744.00	$750.00

elastin fibres

BA150	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	4 x 7cm x 1.0mm	$407.00	$410.00

elastin fibres

BA151	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	2 x 12cm x 1.0mm	$377.00	$380.00

elastin fibres

BA152	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	2 x 20cm x 1.0mm	$499.00	$503.00

elastin fibres

BA153	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	4 x 12cm x 1.0mm	$561.00	$565.00

elastin fibres

BA154	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	8 x 12cm x 1.0mm	$943.00	$951.00

elastin fibres

BA155	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	2 x 4cm x 1.0mm	$254.00	$256.00

elastin fibres

BA156	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal collagen and 	2 x 7cm x 1.0mm	$299.00	$301.00

elastin fibres

BA172	Pelvisoft	PelviSoft Acellular Collagen BioMesh	4 x 7 cm	$407.00	$472.00

BA173	Pelvisoft	PelviSoft Acellular Collagen BioMesh	8 x 12 cm	$943.00	$1,333.00

Prostheses List by Category, Groups and Sponsor	Page 811 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA174	Pelvisoft	PelviSoft Acellular Collagen BioMesh	6 x 8 cm	$561.00	$679.00

William A Cook Australia Pty Ltd

WC177	Surgisis Soft Tissue Graft	Surgical Mesh composed of Sub-Intestinal Submucosa 	Length- 10cm, Width- 7cm	$786.00

(SIS)

WC253	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Biodesign Posterior Pelvic Floor Graft	14cm x 16cm Site Specific Shape	$1,200.00

WC254	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Biodesign Anterior Pelvic Floor Graft	9cm x 12cm Trapezoide Shape	$850.00

WC255	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Soft Tissue Graft	Length 20cm, Width 7cm	$900.00

Group 4c - Urogenital Reconstructive Material : bone and ligament fixation

American Medical Systems

AM010	Influence Bone Screw	Bone screw with pre-attached polypropylene monofilament	5.5 x 1.7 mm	$700.00

suture. For incinsionless tranvaginal sling procedure. Loop

Screw Bone Screw

AM011	Influence Bone Screw	Bone screw with pre-attached polypropylene monofilament	5.5 x 1.7 mm	$700.00

suture. For incinsionless tranvaginal sling procedure. In-

Fast Bone Screw

Group 5 - Urogenital - Penile Prostheses

Group 5a - Penile : malleable

American Medical Systems

AM005	Penile Implant - Malleable	AMS 600M, AMS 650	Cylinders range: 12 -20cm	$3,375.00	When provided in association with Medicare

Benefits Schedule Item 37429, 37426 or 37432

AM020	DURA II, Positionable Penile Prosthesis	Concealable penile prosthesis	Diameter 10mm and 12mm; Proximal tip 	$5,411.00

lengths 1-9cm; Distal tip lengths 1-9cm

Coloplast Pty Ltd

CT002	Acu-form Penile Prosthesis	Malleable penile prosthesis	Dia: 9ml (14 - 23cm length), dia : 11mm (16 -	$2,100.00	When provided in association with Medicare

25cm length), Dia: 13mm (18 - 27cm length)	Benefits Schedule Item 37429, 37426 or 37432

Prostheses List by Category, Groups and Sponsor	Page 812 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical Device Alliance Pty Ltd

MP002	Malleable Penile Implant	Consists of a membrane, filler product and silicone tube	14-23cm	$817.00	When provided in association with Medicare

Benefits Schedule Item 37429, 37426 or 37432

A

Coloplast Pty Ltd

CT007	Genesis Penile Prosthesis	Malleable Penile Prosthesis with Resist Coating	Dia 9mm (14 - 23cm lengths), Dia: 11mm (16	$2,500.00	$3,700.00	When provided in association with Medicare

- 25cm lengths), Dia: 13mm (18 - 27cm 	Benefits Schedule Item 37429, 37426 or 37432

lengths)

Group 5b - Penile : inflatable, two component

Coloplast Pty Ltd

CT001	Excel Inflatable Penile Prosthesis	Two-piece inflatable penile prosthesis	Cylinder lengths 10,12,14,16,18,20,22cm & 	$10,200.00	When provided in association with Medicare

six rear-tip extenders (two each 1, 2 & 3cm)	Benefits Schedule Item 37429, 37426 or 37432

A

American Medical Systems

AM041	AMS Ambicor	AMS Ambicor Inflatable Penile Prostheses	AMS Ambicor Inflatable Penile Prostheses 	$10,414.00

12.5mm in 14, 16 & 18cm length, 14mm in

16, 18 & 20cm length, 15.5mm in 18, 20 &

22cm length

Group 5c - Penile : inflatable, three component

American Medical Systems

AM022	AMS 700 Series Inflatable Penile Prostheses Cylinders	700 Series (Non InhibiZone)	12, 14, 15, 16, 18, 21cm	$3,520.00	When provided in association with Medicare

Benefits Schedule Item 37429, 37426 or 37432

AM042	AMS 700 Series Inflatable Penile Prostheses Pump	700 Series (Non InhibiZone)	One Size	$4,290.00

AM043	AMS 700 Series Inflatable Penile Prostheses Pump & 	700 Series (Non InhibiZone)	12, 14, 15, 16, 18, 21cm	$7,810.00

Cylinders Preconnected

AM044	AMS 700 Series Inflatable Penile Prostheses Reservoir 	700 Series (Non InhibiZone)	 50, 65, 100ml	$1,795.00

non Inhibizone

Prostheses List by Category, Groups and Sponsor	Page 813 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AM045	AMS 700 Series Inflatable Penile Prostheses Accessory 	700 Series (Non InhibiZone)	One Size	$689.00

Kit

AM046	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	One Size	$135.00

Deactivation Package

Coloplast Pty Ltd

CT005	Titan Inflatable Penile Prosthesis with Resist - Assembly 	Assembly kit for three component penile prosthesis	Standard & Narrow -base	$680.00

Kit

CT008	Titan Inflatable Penile Prosthesis with Resist - Cylinders	Cylinders for three component penile prosthesis	10, 12, 14,  16, 18, 20, 22cm	$3,830.00

CT009	Titan Inflatable Penile Prosthesis with Resist - Cylinders 	Preconnected Cylinders & pump for three component 	10, 12, 14, 16, 18, 20, 22cm (in both 	$8,495.00

& Pump Preconnected	penile prosthesis	infrapubic & scrotal models)

CT010	Titan Inflatable Penile Prosthesis with Resist - Lock-out 	Reservoir for three component penile prosthesis	60, 75, 100ml	$1,980.00	$2,020.00

Valve Reservoir

CT011	Titan Inflatable Penile Prosthesis with Resist - Pump	Pump for three component penile prosthesis	One Size	$4,665.00

CT012	Titan Inflatable Penile Prosthesis with Resist - True-lock 	True Lock Plug for deactivation of three component penile 	One Size	$135.00

Plug	prosthesis

A

American Medical Systems

AM004	AMS 700 Series Inflatable Penile Prostheses with 	700 Series with InhibiZone	12, 14, 15, 16, 18, 21cm	$3,830.00	When provided in association with Medicare

Inhibizone Cylinders	Benefits Schedule Item 37429, 37426 or 37432

AM036	AMS 700 Series Inflatable Penile Prostheses with 	700 Series with InhibiZone	One Size	$4,665.00

InhibiZone Pump

AM037	AMS 700 Series Inflatable Penile Prostheses with 	700 Series with InhibiZone	12, 14, 15, 16, 18, 21cm	$8,495.00

InhibiZone Pump & Cylinders Preconnected

AM038	AMS 700 Series Inflatable Penile Prostheses with 	700 Series with InhibiZone	 50, 65, 100ml	$1,980.00

InhibiZone Reservoir

AM040	AMS 700 Series Inflatable Penile Prostheses with 	700 Series with InhibiZone	One Size	$135.00

InhibiZone Deactivation Package

Coloplast Pty Ltd

CT006	Titan Inflatable Penile Prosthesis with Resist Coating	Three-piece inflatable Penile Prosthesis with Resist Coating	10cm, 12cm, 14cm, 16cm, 18cm, 20cm 	$10,475.00

Cylinder Lengths

Prostheses List by Category, Groups and Sponsor	Page 814 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 6 - Urogenital - Testicular

American Medical Systems

AM015	AMS Testicular Prostheses	Solid silicone elastomer with suture hole	Small, Medium, Large	$653.00	When provided in association with Medicare

Benefits Schedule Item 45051 preparatory to a

subsequent surgical service not precluded from

attracting Medicare Benefits

Surgiplas Medical

SP002	Testicular Implant	Silicone Elastomer	Small / Medium / Large	$653.00	When provided in association with Medicare

Benefits Schedule Item 45051.

Group 6 - Testicular prostheses

Coloplast Pty Ltd

CT003	Saline Filled Testicular Prosthesis	 Testicular Prosthesis	Extra Small, Small, Medium, Large	$653.00	When provided in association with Medicare

Benefits Schedule Item 45051 preparatory to a

subsequent surgical service not precluded from

attracting Medicare Benefits

CT004	Soft Solid Testicular Prosthesis	Gel filled Testicular Prosthesis	Small, Medium, Large & Extra Large	$653.00	$780.00	When provided in association with Medicare

Benefits Schedule Item 45051 preparatory to a

subsequent surgical service not precluded from

attracting Medicare Benefits

Endotherapeutics Pty Ltd

ET028	Promedon Testicular Prosthesis	Silicone Elastomer	Small - 31 x 23 mm,  Medium - 37 x 28 mm, 	$653.00	When provided in association with Medicare

Large - 42 x 32 mm,  Xlarge	Benefits Schedule Item 45051 preparatory to a

subsequent surgical service not precluded from

attracting Medicare Benefits

Prostheses List by Category, Groups and Sponsor	Page 815 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 7 - Urogenital - Stimulators

Medtronic Australasia Pty Ltd

MC180	Sacral Nerve Stimulation Unilateral	Interstim  stimulation lead Models 3080 & 3886. Platinum /	28 cm	$3,400.00

Iridium, polyurethane.

MC185	Sacral Nerve Stimulation Unilateral	Interstim Temporary test stimulation lead. Model 3065U. 	One size only	$393.00	When used in pain therapy - to be funded when

This model is temporary for patient trial. Platinum / Iridium, 	 the patient has undergone a multi-disciplinary

polyurethane.	assessment and trial of stimulation.

MC186	Sacral Nerve Stimulation Accessories	Model 041827-002 Auxiliary screener cable kit. 	One size only;  9-12.5cm	$130.00	Only to be used with Medtronic Itrel II pulse

Polypropylene. OR Model 041828-002 Foramen Needle 	generator, model 7424.

(box of 6). Sterile individual units. Stainless steel.

MC188	Sacral Nerve Stimulation Unilateral	Activator. Model 3031. Polycarbonate.	One size only	$1,345.00	Only to be used with Medtronic Itrel II pulse

generator, model 7424.

MC291	Sacral Nerve Stimulation Lead Model 3093 TINED 	4 electrode tined lead - platinum iridium, electrodes 0, 2, 3 	28 - 41cm	$4,420.00

LEAD	are 3mm,electrode 1 is 10mm and coiled, spacing is 1.5mm

MC719	InterStim Neurostimulator Model 3023	Titanium	42g	$9,550.00

MC755	InterStim II Neurostimulator	Titanium	Weight 22g	$9,550.00

MC756	InterStim iCON Patient Programmer	Hand held device Model 3037 to be used with implantable 	One size only	$1,400.00

neurostimulation devices

MC757	Tined Lead model 3889	4 electrode tined lead - platinum, iridium	28, 33 and 41cm	$4,420.00

MC777	Interstim Extension Lead	Quadripolar Extension Kit	10, 25, 51cm	$1,510.00

Group 7 - Stimulators

Medtronic Australasia Pty Ltd

MC175	Neo-anal sphincter stimulator implant	Implantable intramuscular assist lead, Dynamic 	35-50 cm	$4,420.00

Graciloplasty Lead. Platinum iridium, polyurethane,

polypropylene.

MC775	Interstim Lead Introducer Kit	Lead Introducer Kit for Sacral Nerve Stimulation	One size only	$393.00	$541.00

Prostheses List by Category, Groups and Sponsor	Page 816 of 869

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 8 - Urogenital - Tubal Obstruction Devices

N Stenning  & Co Pty  Ltd

NG045	Essure System (ESS305)	Stainless steel, polyester fibre	One size only, 2 per pack	$1,290.00	$1,344.00	Only to be funded when provided in a

hospital/day hospital.  To be reviewed in three

years (2004) to assess whether the place of

insertions is still consistent.

Group 8a - Tubal obstruction : extraluminal

Femcare Australia Pty Ltd

FE001	Filshie Clip	Titanium	One size only	$155.00

FE002	Fallopian Tube Rings (Pair)	Silicone	One size only	$78.00	$120.00

FE003	Filshie Clips - Sterishot	With Disposable Applicator	One Size	$410.00	Temporary approval, pending review of

product group

Gyrus Australasia Pty Ltd

GY088	Falope-Ring Bands	Fallopian Tube Clip (each)	5mm - 12mm	$39.00

Prostheses List by Category, Groups and Sponsor	Page 817 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Clip, internal, ligating

B Braun Australia Pty Ltd

BB294	Aesculap Ligating Clips	Aesculap Ligating Clips- Ligation Clips Titanium;	PL561T- Large	$11.00	$13.00

BB297	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL565T - Small	$10.00

BB298	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL566T - small cardiopack of 24	$35.00

BB299	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL567T - medium	$12.00

BB300	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL568T - medium/large	$11.00	$13.00

BB301	Challenger Ligating Clips	Challenger Ligating Clips Titanium Multifire	PL572 - small/medium	$70.00

Clips, Vascular

B Braun Australia Pty Ltd

BB016	Challenger Ligating Clips	Challenger Ligating Clips Titanium Multifire	Medium-large	$65.00	Temporary Approval

Group 1- Bare Metal Stents

Abbott Australasia Pty Ltd

AY014	Abbott Vascular Balloon Deployable Stent	Stainless Steel	Dia 5 - 12mm, length 12 - 58mm	$1,100.00

n, re

Abbott Australasia Pty Ltd

AY032	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm length	$2,100.00

Group 1a - Balloon expandable, pre-mounted

ev3 Australia Pty Ltd

EE025	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding Nitinol stent 	Diameter 5-8mm, Length 20-200mm	$2,970.00

premounted on an OTW delivery system.

Prostheses List by Category, Groups and Sponsor	Page 818 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ688	Palmaz Blue .014 Renal Stent System (on Aviator Plus)	CoCr balloon expandable stent	12, 15, 18, 24mm Lengths                             	$2,100.00

40, 50, 60, 70mm diameters

80, 142cm shaft lengths

Medtronic Australasia Pty Ltd

MC729	Bridge Assurant Stents: Balloon Expandable Stent 	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 - 80mm	$1,800.00

Delivery System

ca

Medical Vision Australia Pty Ltd

MF017	CP Stent	CP Stent Uncovered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm length	$3,600.00

co

B Braun Australia Pty Ltd

BB244	Coroflex Blue	Cobalt Chromium Alloy L605	2-4mm diameter, 8-25mm length	$1,100.00

Biotronik Australia Pty Ltd

BT099	PRO-Kinetic Explorer	Balloon expandable cobalt chromium (L-605) peripheral 	Diameter:  2.0mm - 5.0mm; Length:  10mm - 	$1,800.00

stent - passive coating - 0.014" / RX	40mm

Invatec Technology Center GmbH

IV001	Chromis deep cobalt Chromium, infrapopliteal OTW stent	Chromis deep - Cobalt Chromium, pre-mounted balloon 	Diameter: 2.0 mm 4.0mm Length: 10mm - 	$1,800.00

expandable, 0.014" compatable stent	76mm

Johnson & Johnson Medical Pty Ltd

JJ567	PALMAZ® BLUE™ .018 Peripheral Stent System	L605 Cobalt Chromium Alloy Balloon Expandable Stent	12, 15, 18, 24mm length 4, 5, 6, 7mm 	$1,800.00	$2,509.00

diameter

Medtronic Australasia Pty Ltd

MC773	Assurant Cobalt Stent	Iliac balloon expandable stent system	Diameter:  6 - 10mm , Length:  20 - 80mm	$1,800.00

o (cobalt alloy)

Medtronic Australasia Pty Ltd

MC328	Racer Renal Stent System	Cobalt Alloy	Diameter: 4-7mm; Lengths: 12 &18mm	$1,800.00	Temporary approval, pending review of

product group

Prostheses List by Category, Groups and Sponsor	Page 819 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

O, re

Abbott Australasia Pty Ltd

AY022	Cobalt Chromium Balloon Expandable Peripheral Stent	Cobalt Chromium	Diameter 4-10mm, Length 12-58mm	$2,100.00

s

Abbott Australasia Pty Ltd

AY008	Jostent Renal Premounted	Balloon expandable	Stent length 12 - 17mm, diameter 5 - 7 mm	$1,485.00

AY024	Omnilink Stainless Steel Balloon Deployable Peripheral 	Stainless Steel Balloon Expandable Peripheral Stent on 	018 & 035 system: 5-10mm diameter by 12, 	$1,800.00

Stent	018/035 system	16, 18, 28, 38, 58mm length

Bard Australia Pty Ltd

BA003	Saxx Premounted Balloon Expandable Stent 	Pura vario stainless steel stent	3mm - 16mm diameter, 13mm - 80mm length	$1,648.00

BA190	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 15mm - 18mm, 0.035 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

BA191	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 19mm - 27mm, 0.035 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

BA192	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 28mm - 37mm, 0.035 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

BA193	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 38mm - 56mm, 0.035 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

BA194	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 15mm - 18mm, 0.018 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

BA195	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 19mm - 27mm, 0.018 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

BA196	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in 	Stent Length  28mm - 37mm, 0.018 	$1,950.00

delivery system: nylon balloon, stent and deployment system	compatible

Prostheses List by Category, Groups and Sponsor	Page 820 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA197	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in 	Stent Length 38mm - 56mm, 0.018 compatible	$1,950.00

delivery system: nylon balloon, stent and deployment system

Biotronik Australia Pty Ltd

BT073	Motion Explorer	Motion explorer silicon carbide coated stainless steel 	Dia:  2.5 - 3.5mm.  Len: 15 - 25mm	$1,545.00

balloon expandable peripheral stent system 0.014

compatible

Boston Scientific Australia Pty Ltd

BS059	Express Vascular LD Stent; Express Vascular SD Stent	Stainless Steel, Balloon Expanding Stent	Diameter 4mm - 10mm, Length 14mm - 	$1,800.00

60mm

Johnson & Johnson Medical Pty Ltd

JJ304	Palmaz Genesis Peripheral Stent and Delivery System on 	Stainless steel balloon expandable stent mounted on a 	Diameter 3-8mm, length 12-39mm	$1,800.00	$2,099.00

Slalom	slalom balloon

JJ305	Palmaz Genesis Peripheral Stent and Delivery System on 	Stainless steel balloon expandable stent mounted on an 	Diameter 4-8mm, length 12-39mm	$1,800.00	$2,211.00

Opta Pro	Opta Pro Balloon

JJ479	PALMAZ GENESIS on CORDIS AMIIA RX .014 	Peripheral balloon expandable stent and rapid exchange 	Lengths: 12, 15, 18, 24mm. Diameter: 4, 4.5, 	$2,100.00

Delivery System	delivery system	5, 5.5, 6, 6.5, 7mm

S, B

Biotronik Australia Pty Ltd

BT094	Dynamic	PTA Balloon Expandable Stent	5-10mm diameter / 15, 25, 38, 56mm lengths	$1,800.00

s, re

William A Cook Australia Pty Ltd

WC234	Formula 414 Rx Renal Stent System	Balloon Expandable Vasc/Biliary Stent	Rapid exchange 014/018, 80-135cm delivery 	$1,800.00

system. Diameters 4-10mm, lengths 0.8 - 4cm

Group 1b - Balloon expandable, un-mounted

Johnson & Johnson Medical Pty Ltd

JJ058	Palmaz Balloon Expandable Stent	Stainless steel stent	Extra-large	$1,800.00

ca

Medical Vision Australia Pty Ltd

MF015	CP Stent	CP Stent Uncovered	16, 22, 28, 24, 39 & 45mm length	$2,500.00

Prostheses List by Category, Groups and Sponsor	Page 821 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

s

Bard Australia Pty Ltd

BA002	Pura Vario Stent	Saxx balloon expandable stainless steel stent	3mm - 14mm diameter, 13mm - 80mm length	$1,391.00	$1,433.00

Johnson & Johnson Medical Pty Ltd

JJ057	Palmaz Balloon Expandable Stent	Stainless steel stent	Diameter 4-12mm, length 20-30mm	$1,600.00

JJ306	Palmaz Genesis Peripheral Stent	Stainless steel peripheral stent	Diameter 4-12mm, length 11-79mm	$1,780.00

Group 1c - Self expandable

Bard Australia Pty Ltd

BA185	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter:  6-10mm, Length:  20-100mm	$2,400.00

peripheral disease

BA199	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter: 6-8mm, Length: 120mm	$2,400.00	$2,700.00

peripheral disease

BA200	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter: 6-8mm, Length: 150mm	$2,970.00	$3,270.00

peripheral disease

BA201	lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter: 6-8mm, Length:170mm	$2,970.00	$3,800.00

peripheral disease

ev3 Australia Pty Ltd

EE024	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding Nitinol stent 	Diameter 5-8, Length 20-100mm	$2,400.00

premounted on an OTW delivery system.

Medtronic Australasia Pty Ltd

MC702	Aurora Stents: Self Expanding Stent Delivery System	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 - 80mm	$1,800.00

co

Boston Scientific Australia Pty Ltd

BS035	Expandable Endovascular Wallstent	Wallstent - Self-expanding stent, cylindrical braided 	Stent Diameter x Stent Length: 6-16mm x 18-	$1,800.00

structure with core of either tantalum or platinum	70mm

BS056	Carotid Wall Stent	Elgiloy (cobalt chromium), Flexible low profile and self 	Fully open diameter 6.0 - 10.0mm, Fully open	$1,800.00

expanding stent	 length 22 - 37mm

BS063	Wallstent RP; 7Fr Placehit Wallstent	Tracheobronchial, lliac, Biomedical Superalloy Wire, 	Diameter 6mm - 24mm, Length 18mm - 	$1,800.00

Braided Mesh, Stainless Steel Stent with Unistep Delivery 	90mm

System

Prostheses List by Category, Groups and Sponsor	Page 822 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

n

Abbott Australasia Pty Ltd

AY007	Jostent SelfX Expanding Stent	Nitinol	Shaft length 15 - 180cm, stent length 32 - 	$1,520.00

92mm

AY021	Nitinol Self Expanding Peripheral Stent	Nitinol	Diameter 3-10mm	$2,400.00

AY031	Xpert	Xpert is a laser cut nitinol self expanding stent, used to treat	3 - 8mm in diameter, 20 - 80mm in length	$1,900.00

peripheral vessel disease, Xpert is a low profile system

designed for small vessels and is 4 french.

Bard Australia Pty Ltd

BA001	Memotherm Vascular Stents 	Memotherm nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 12 cm lengths	$1,900.00	$1,957.00

BA178	Luminex Vascular Stent	Luminex nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 12cm lengths	$1,900.00	$1,957.00

BA198	Lifestent Peripheral Stent	Stent: Nitinol composition with tanilum markers, Items 	6-8mm Diameter, length 20-90mm	$2,250.00

included in the delivery system: Stent, deployment system

Biotronik Australia Pty Ltd

BT103	ASTRON PULSAR	The Astron Pulsar is a nitinol self expanding stent, used to 	4-12.0mm by 20-200mm	$1,800.00	$2,400.00

treat peripheral vessel disease. Is 4Fr compatible and a

rapid exhange delivery system

Boston Scientific Australia Pty Ltd

BS077	Sentinol Nitinol Vascular Stent System	Nitinol Stent with Uniflex Delivery System	Diameter: 5 to 10mm. Length: 20 to 120mm	$1,800.00

BS137	EPIC Nitinol Stent	Implantable endoprosthesis nitinol stent system with 	5.0mm - 14.0mm by 20mm - 120mm	$1,800.00

delivery system

Endotherapeutics Pty Ltd

ET037	SX-Ella Endovascular Stent	Uncovered, self-expanding nitinol stent	Dia 6-16mm, length 22-77mm	$2,500.00

ev3 Australia Pty Ltd

EE006	Peripheral Stent	Self expanding, nitinol stent	Tapered (8-6, 9-6, 10-7mm) Straight  (5-	$1,800.00

14mm)

Johnson & Johnson Medical Pty Ltd

JJ419	SMART Control Peripheral Stent System	SMART Control is a laser cut nitinol self expanding stent, 	Dia 6 – 14mm; Length 20 – 100mm	$2,400.00

used to treat peripheral vessel disease.

Prostheses List by Category, Groups and Sponsor	Page 823 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ463	PRECISE RX Nitinol Stent System	Nitinol self expandable stent and repid exchange delivery 	Stent Lengths 20, 30, 40mm; Stent Diameter: 	$2,420.00

system	5, 6, 7, 8, 9, 10mm

JJ646	Precise Pro Rx Nitinol Stent System	Nitinol self expanding stent	Diameter:  5, 6, 7, 8, 9, 10mm;  Length:  20, 	$2,420.00

30, 40mm

Medtronic Australasia Pty Ltd

MC146	Exponent RX Self Expanding Carotid Stent Delivery 	Nitinol	Diameter: 6 - 10mm, Length: 20 - 40mm	$1,800.00

System

MC743	Complete SE Stent	Nitinol	20mm - 80mm	$1,800.00

MC744	Complete SE Stent	Nitinol	100mm - 120mm	$2,400.00

Pyramed (Australia) Limited

PY005	Optimed Iiiac Sinus Stent	Sinus-wave nitinol stent	4 - 12mm x 30 - 100mm	$1,800.00

PY006	Optimed Femoral Sinus Stent	Sinus-wave nitinol Stent	4 - 12mm x 30-100mm	$1,800.00

William A Cook Australia Pty Ltd

WC168	Cook Vascular/Biliary Stent	Vascular/Biliary stent	5/6 Fr delivery system, 4 - 14mm diameter, 2 	$1,800.00

- 8cm length

n, l

Abbott Australasia Pty Ltd

AY029	Absolute Pro (Long Length)	Absolute Pro is a laser cut nitinol self expanding stent, used 	5 - 10mm in diameter, 120 - 170mm in length	$2,970.00

to treat peripheral vessel disease, Absolute Pro has a

supportive I-beam made out of stainless steel making the

catheter kink resistant.

Johnson & Johnson Medical Pty Ltd

JJ592	SMART Nitinol Stent System	Long 120mm Stent, 6F compatible	6-8mm diameter, 120mm stent length, 120cm 	$2,400.00

delivery system

JJ617	SMART Nitinol Stent System	Long 150mm stent, 6F compatible	6-8mm diameter, 150mm length, 120cm 	$2,970.00

delivery system

Medtronic Australasia Pty Ltd

MC760	Complete SE Stent	Nitinol	150mm	$2,970.00

n, m

Johnson & Johnson Medical Pty Ltd

JJ068	SMART .018" Peripheral Stent System	Nitinol carotid stent and delivery system	6 - 10 mm	$1,900.00

JJ235	SMART Peripheral stent system	Laser cut nitinol tube.  Available in long stents to treat large 	Dia 6 - 8mm, length 120mm	$1,900.00

vessel lesions.

Prostheses List by Category, Groups and Sponsor	Page 824 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

n, nb

Biotronik Australia Pty Ltd

BT072	Astron	Peripheral self expanding nitinol, coated stent	Dia: 6 - 12mm, Len: 30 - 100mm	$1,800.00

n, re

Abbott Australasia Pty Ltd

AY015	Xact/ Xact Flex Carotid Stent	Nitinol Self-Expanding stent on rapid exchange delivery 	Diameter 7-10mm Length 20 + 30mm 	$2,100.00

system	Straight; Diameter 8-6, 9-7, 10-8mm Length

20 + 30mm Tapered

o (phynox)

Pacing Importers Pty Ltd - Life Systems

PI004	Stentself Stent	Phynox construction, adapted sizes & diameters	Dia 5 - 9mm  Length: 20 - 100mm	$1,800.00

s

William A Cook Australia Pty Ltd

WC175	Cook Z Stent	Gianturco Vena Caval and Venous Design	Double Stent - 20, 30, 40mm Diameters, 	$1,256.00

50mm Length

WC176	Cook Z Stent	Gianturco Vena Caval and Venous Design	Triple Stent - 20, 30, 40mm Diameters, 	$1,496.00

75mm Length

WC189	Cook Z Stent	Gianturco Vena Caval and Venous Design	Single Stent - 15, 20, 30mm diameters; 25mm	$1,011.00

length

Group 2 - Stent Grafts

Device Technologies Australia Pty Ltd

DE268	Relay Thoracic Stent Graft	Distal Extension System	Diameter: 22-46mm, Length 104-127mm	$11,055.00

Group 2a1 - Proximal Vessels - Tube (Thoracic Aorta)

Medical Specialties  Australia Pty Ltd

MS052	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided Polyester 	Diameter 22 - 46mm, Length 103 - 179mm	$11,055.00

PFTE impregnated Suture Dual Sheath Delivery System

Prostheses List by Category, Groups and Sponsor	Page 825 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MS053	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided Polyester 	Diamter 22 - 46mm,  Length 180 - 271mm	$14,500.00

PFTE impregnated Suture Dual Sheath Delivery System

Medtronic Australasia Pty Ltd

MC747	Valiant Endovascular Stent Graft	Nitinol and polyester system	22-46mm diameter, 110mm length	$11,055.00

MC809	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, up to 179mm	$11,055.00	$16,000.00

MC810	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, 180 - 227mm length	$14,500.00	$18,400.00

William A Cook Australia Pty Ltd

WC238	Zenith Thoracic Endovascular Graft	Thoracic Proximal Grft	22mm to 42mm diameter, 115mm to 179mm 	$11,055.00

Length

WC239	Zenith Thoracic Endovascular Graft	Thoracic Proximal Grft	22mm to 42mm diameter, 180mm to 216mm 	$14,500.00

Length

WC240	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 127mm to 179mm 	$11,055.00

Length

WC241	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 180mm to 207mm 	$14,500.00

Length

ca

Medical Vision Australia Pty Ltd

MF016	CP Stent	CP Stent Covered	16, 22, 28, 24, 39 & 45mm length	$3,000.00

MF018	CP Stent	CP Stent Covered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm length	$4,300.00

n, e

W L Gore & Associates

GT023	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	26-40mm Diameter x 15-20cm Lengths	$14,500.00

GT191	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	Diameter 26-40mm x  10cm Length	$11,055.00	$13,400.00

n, p

Medtronic Australasia Pty Ltd

MC206	Talent Thoracic Stent Graft	Talent Endoluminal Stent Graft - Thoracic Stent Graft System	22 - 46mm x 130mm	$11,055.00

MC748	Valiant Endovasculat Stent Graft	Nitinol and polyester system	22-46mm diameter, 150mm length	$11,055.00	$13,500.00

Prostheses List by Category, Groups and Sponsor	Page 826 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

s, p, c

William A Cook Australia Pty Ltd

WC157	Zenith TAA Endovascular Graft	TX2, two piece thoracic stent-graft, woven polyester and 	Proximal piece 22 - 42mm diameter and 115 	$22,110.00

stainless steel	- 216mm long. Distal piece 26 - 42mm

diameter and 127 - 207mm long

WC159	Zenith TAA Endovascular Graft	TX1, one piece thoracic stent-graft, woven polyester and 	22 - 42mm diameter and 115 - 216mm long	$11,027.00

stainless steel

Group 2a2 - Proximal Vessels - Tube (Abdominal Aorta)

Medtronic Australasia Pty Ltd

MC850	Endurant AAA Abdominal Tube	Endurant Endoluminal Stent Graft System - Abdominal Tube	23 - 36mm X 85mm	$5,050.00

n, p

Medtronic Australasia Pty Ltd

MC160	Talent lliac Extension Graft	Talent Endoluminal Stent Graft - lliac Extension	8 - 26mm x 60 - 200mm	$4,110.00

s, p

William A Cook Australia Pty Ltd

WC232	Zenith Renu AAA Ancillary Graft - Main Body Extension	Tubular stent-graft consisting of stainless steel Z stents 	Proximal diameter 22 - 36mm, Length 	$4,850.00

covered with woven polyester	(covered section) 43 - 62mm

Group 2a3 - Proximal Vessels - Tube (Aortic-Uni-Iliac)

n, p, c

Medtronic Australasia Pty Ltd

MC153	Talent AAA Aorto Uni lliac Stent Graft	Talent Endoluminal Stent Graft System - AUI  Tapered 	22 - 36mm x 75 - 310mm	$13,375.00

System.

MC847	Endurant Aorto-Uni-Iliac (AUI)	Endurant Endoluminal Stent Graft System - AUI	23 - 36mm X 120mm	$10,200.00

s, p

William A Cook Australia Pty Ltd

WC235	Zenith Renu AAA Ancillary Graft - Converter	Tube stent-graft constructed of woven polyester sewn to 	Proximal diameter 22-36mm, distal diameter 	$10,200.00

self-expanding stainless steel Cook-Z stents mounted on 	12mm, lengths 108-125mm

the H&LB One-Shot Introduction System

Prostheses List by Category, Groups and Sponsor	Page 827 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

s, p, c

William A Cook Australia Pty Ltd

WC042	Zenith AAA Endovascular Graft - Custom Craft	AAA Aorto Uni Iliac (AUI) Graft	Neck 20-32mm Length 74-276mm	$10,414.00

Group 2b - Proximal Vessels - Bifurcated

William A Cook Australia Pty Ltd

WC256	Zenith AAA Endovascular Graft	ZFEN - 1000 Fenestrated AAA bifurcated stent-graft, 	Fenestrated body 24 - 36mm diameter and 76	$15,372.00

woven polyester and stainless steel	 - 137mm long.  Distal bifurcated body 24mm

diameter and 76 - 121mm long.  Ipsilateral

cuff 12 - 24mm diameter.  Contralateral leg

extension 8 - 24mm diameter and 37 -

122mm long

WC257	Zenith AAA Endovascular Graft with Flexor TM	ZFEN - 1000 Fenestrated AAA bifurcated stent-graft, 	Fenestrated body 24 - 36mm diameter and 76	$18,372.00

woven polyester and stainless steel with Flexor TM sheath	 - 137mm long.  Distal bifurcated body 24mm

diameter and 76 - 121mm long.  Ipsilateral

cuff 12 - 24mm diameter.  Contralateral leg

extension 8 - 24mm diameter and 37 -

122mm long

WC260	Zenith Fenestrated AAA Endovascular Graft	Distal Bifurcated Body	Diameter 12 - 24mm, 1st length 28 - 62mm, 	$4,503.00

2nd length 76 - 121mm

WC261	Zenith Fenestrated AAA Endovascular Graft with Flexor	Distal Bifurcated Body with Flexor sheath	Diameter 12 - 24mm, 1st length 28 - 62mm, 	$5,503.00

2nd length 76 - 121mm

n, e

W L Gore & Associates

GT024	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Trunk - 	23-28.5mm Diameter, 14-18cm Length	$7,440.00

Ipsilateral Leg

GT190	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Iliac Extender	Diameter 10 - 14.5mm, Length 7cm	$3,700.00

n, o, p

Terumo Corporation Australia

TU002	Anaconda Endovascular Graft System	Bifurcated Aortic System, Polyester/Nitinol	18 - 34mm	$12,405.00

Prostheses List by Category, Groups and Sponsor	Page 828 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

n, p

Medtronic Australasia Pty Ltd

MC148	Talent AAA Bifurcated Stent Graft	Endoluminal Stent Graft System -Bifurcated Graft & 	24-36 x 8-24 x 140-170mm	$12,405.00

Contralateral Limb

MC845	Endurant AAA Stent Graft Bifurcation	Endurant Endoluminal Stent Graft System - Bifurcated Graft	23 - 36mm x 13 - 20mm x 135 -185mm	$8,955.00

s, p

William A Cook Australia Pty Ltd

WC049	Zenith AAA Endovascular Graft	Bifurcated Extension	Diameter 22-32 mm Length 122-239mm	$4,870.00

WC133	Zenith Flex AAA Endovascular Graft - body only	Stainless steel	Dia 22 - 32mm, length 82 - 140mm	$5,794.00

Group 2c - Proximal Vessels - Branched

s, p

William A Cook Australia Pty Ltd

WC233	Zenith Branch Endovascular Graft - Iliac Bifurcation	Bifurcated branch vessel stent graft with openings to 	Common iliac lengths 45 or 61mm, external 	$7,500.00

connect the common iliac, sidebranch, and external iliac 	iliac lengths 41 or 58mm and distal cuff

segments. Made of stainless steel and nitinol z-stents and 	diameters 10 or 12mm

woven polyester, mounted on H&LB one shot delivery

system

Group 2d - Proximal Vessels - Fenestrated

William A Cook Australia Pty Ltd

WC262	Zenith Fenestrated AAA Endovascular Graft	Proximal Fenestrated Body	1 or 2 internal stents, 24 - 36mm Diameter, 	$8,561.00

73 - 129mm Length

WC263	Zenith Fenestrated AAA Endovascular Graft with Flexor	Proximal Fenestrated body with Flexor sheath	1 or 2 internal stents, 24 - 36mm Diameter, 	$9,561.00

73 - 129mm Length

Group 2e - Proximal Vessels - Accessory components (aortic)

William A Cook Australia Pty Ltd

WC045	Zenith Endovascular Graft	Converter	Diameter 20 thru 36 Length 80-85	$2,808.00

WC048	Zenith Endovascular Graft	Body Extensions	Diameter 22 thru 36	$2,808.00

Prostheses List by Category, Groups and Sponsor	Page 829 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

n, e

W L Gore & Associates

GT189	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Aortic Extender	Diameter 23 - 28.5mm, Length 3.3cm	$3,100.00

n, p

Medtronic Australasia Pty Ltd

MC158	Talent Aortic Extension Stent Graft	Talent Endoluminal Stent Graft - Aortic Extension	22 - 36mm x 26 - 30mm	$3,165.00

MC203	Talent Occluder System	Nitinol stents attached to polyester graft sealed both ends	Standard Sizes, 8 - 24mm x 31 - 35mm	$2,757.00

MC849	Endurant AAA Aortic Extension	Endurant Endoluminal Stent Graft System - Aortic Extension	23 - 36mm x 60mm	$3,481.00

Terumo Corporation Australia

TU003	Anaconda Endovascular Graft System	Aortic Extension Cuff, Polyester/Nitinol	18 - 34mm	$2,767.00

s, p

William A Cook Australia Pty Ltd

WC160	Zenith TAA Endovascular Graft	Thoracic Proximal Extension	Dia 22 Length 77; Dia 24 Length 77;Dia 26 	$6,534.00

Length 77; Dia 28 Length 80; Dia 30 Length

80; Dia 32 Length 80; Dia 34 Length 77; Dia

36 Length 77; Dia 38 Length 77; Dia 40

Length 81

Diameter 42 Length 81

WC188	Zenith Thoracic Endovascular Graft	Thoracic Body Extension	22mm to 42mm diameter; 77mm to 81mm 	$6,381.00

length

Group 2f - Proximal Vessels - Accessory components (other including iliac limbs)

Terumo Corporation Australia

TU041	Anaconda Endovascular Graft System	Flared iliac limb.  Ultrathin woven polyester, nitinol ring 	Diameter: proximal end 12-17mm, distal end 	$3,450.00

stents, tantalum markers	17-23mm; Length:  80-130mm

William A Cook Australia Pty Ltd

WC047	Zenith Endovascular Graft	Leg Extensions 	Diameter 18 thru 24 Length 55	$2,808.00

WC258	Zenith AAA Endovascular Graft Contralateral/Ipsilateral 	Leg Extension	Diameters from 8 to 24mm, Lengths from 37 	$2,308.00

Lliac Legs	to 122mm

Prostheses List by Category, Groups and Sponsor	Page 830 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC259	Zenith AAA Endovascular Graft Contralateral/Ipsilateral 	Leg extension with Captor valve	Diameters from 8 to 24mm, lengths from 37 to	$3,308.00

Lliac Legs	 122mm

n, e

W L Gore & Associates

GT188	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Contralateral Leg	Diameter 12 - 14.5mm x 10 x 14cm Length	$3,522.00	$5,300.00

n, o, p

Terumo Corporation Australia

TU004	Anaconda Endovascular Graft System	Iliac Extension Cuff, Polyester/Nitinol	8 - 18mm	$3,100.00

TU005	Anaconda Endovascular Graft System	Iliac Leg, Polyester/Nitinol	8 - 18mm	$3,165.00	$3,300.00

n, p

Medtronic Australasia Pty Ltd

MC846	Endurant AAA Contralateral Iliac Limb	Endurant Endoluminal Stent Graft System - Contralateral 	10 - 28mm X 80 - 120mm	$3,450.00

Iliac Limb

MC848	Endurant AAA Iliac Extension	Endurant Endoluminal Stent Graft System - Iliac Extension	10 -  28mm x 80mm	$2,800.00	$3,165.00

s, p

William A Cook Australia Pty Ltd

WC103	Zenith Iliac Plug	Zenith AAA Endovascular Graft	Diameter 14, 16, 18, 20, 22, 24mm	$2,808.00

Group 2g - Peripheral Vessels - Tube

Atrium Australia - Pacific Rim Pty Limited

AC027	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel 	12 - 16 mm diameter 29mm length. 80cm and	$4,025.00	$4,950.00

Vascular Stent	 120cm catheter lengths

AC028	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel 	12 - 16 mm diameter 41mm length. 80cm and	$4,025.00	$5,695.00

Vascular Stent	 120cm catheter lengths

AC029	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel 	12 - 16 mm diameter 61mm length. 80cm and	$4,025.00	$6,280.00

Vascular Stent	 120cm catheter lengths

n, e

Bard Australia Pty Ltd

BA004	Encapsulated Carbon Lined Stent Graft 	AV access PTFE covered nitinol self-expanding stent	4mm - 10mm diameter, 3cm - 8cm length	$2,884.00	$2,971.00

Prostheses List by Category, Groups and Sponsor	Page 831 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA005	Encapsulated Carbon Lined Stent Graft	Iliac / SFA PTFE covered nitinol self-expanding stent	4mm - 10mm diameter, 3cm - 12cm length	$2,884.00	$2,971.00

W L Gore & Associates

GT020	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 5cm 	$3,000.00

Length; Hemobahn 6 - 13mm Diameter, 5cm

Length

GT021	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 10cm 	$3,395.00

Length; Hemobahn 6 - 13mm Diameter, 10cm

Length

GT022	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 15cm 	$4,200.00

Length; Hemobahn 6 - 11mm Diameter, 15cm

Length

GT029	Gore Tips Endoprosthesis	ePTFE	8-12mm Diameter 4-8cm Graft-Lined Length 	$4,000.00

2cm Unlined Length

n, e , h

W L Gore & Associates

GT225	Gore Viabahn ® endoprosthesis with heparin bioactive 	Gore Viabahn ® endoprosthesis with heparin bioactive 	5mmx2.5cm VIABAHN 120cm CATH	$3,000.00

surface	surface is a flexible, self expanding endoluminal device 	5mmx5cm VIABAHN 120cm CATH

consisting of an ePTFE lining with external nitinol support	6mmx2.5cm VIABAHN 120cm CATH

6mmx5cm VIABAHN 75cm CATH

6mmx5cm VIABAHN 120cm CATH

7mmx2.5cm VIABAHN 120cm CATH

7mmx5cm VIABAHN 75cm CATH

7mmx5cm VIABAHN 120cm CATH

8mmx2.5cm VIABAHN 120cm CATH

8mmx5cm VIABAHN 75cm CATH

8mmx5cm VIABAHN 120cm CATH

Prostheses List by Category, Groups and Sponsor	Page 832 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

n, e, h

W L Gore & Associates

GT226	Gore Viabahn ® endoprosthesis with heparin bioactive 	Gore Viabahn ® endoprosthesis with heparin bioactive 	5mmx 15cm VIABAHN 120cm CATH	$4,300.00

surface	surface is a flexible, self expanding endoluminal device 	6mmx 15cm VIABAHN 75cm CATH

consisting of an ePTFE lining with external nitinol support	6mmx 15cm VIABAHN 120cm CATH

7mmx 15cm VIABAHN 75cm CATH

7mmx 15cm VIABAHN 120cm CATH

8mmx 15cm VIABAHN 75cm CATH

8mmx 15cm VIABAHN 120cm CATH

GT227	Gore Viabahn ® endoprosthesis with heparin bioactive 	Gore Viabahn ® endoprosthesis with heparin bioactive 	5mm x 10cm VIABAHN 120cm CATH	$3,495.00

surface	surface is a flexible, self expandinbg endoluminal device 	6mm x 10cm VIABAHN 75cm CATH

consisting of an ePTFE lining with external nitinol support	6mm x 10cm VIABAHN 120cm CATH

7mm x 10cm VIABAHN 75cm CATH

7mm x 10cm VIABAHN 120cm CATH

8mm x 10cm VIABAHN 75cm CATH

8mm x 10cm VIABAHN 120cm CATH

s

Abbott Australasia Pty Ltd

AY010	JOStent Peripheral Stent Graft	Stainless Steel/PTFE	4 - 12 mm x 12 - 58m mm	$2,850.00

s, e, bm

Atrium Australia - Pacific Rim Pty Limited

AC023	Advant PTFE V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel 	5mm - 12mm Diameter	$4,025.00

Peripheral Vascular Stent

Prostheses List by Category, Groups and Sponsor	Page 833 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 3 - Grafts

p, 3, 4, 2, r, b

Terumo Corporation Australia

TU011	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. 	6 to10mm x 40 to 70cm	$725.00	$1,230.00

Fluoropolymer/polyester, Knitted

Group 3a - Tube

Atrium Australia - Pacific Rim Pty Limited

AC021	Advanta SST, VXT, AFT GDS	Radially Supported PTFE Vascular Graft	Diameter 4mm - 24mm; Length 10cm - 	$3,384.00

100cm

Bard Australia Pty Ltd

BA015	Grafts Vascular	Intraluminal polyester graft	20mm - 29mm diameter, 4cm - 8cm length	$1,736.00	$1,788.00

St. Jude Medical Australia Pty Ltd

SJ134	Interflow Ultrathin	ePTFE vascular graft with radial support	6-8mm x 40-80cm	$990.00

SJ135	Interflow Ultrathin	ePTFE vascular gift	6-8mm x 40-80 cm	$1,159.00

e, 1, 2, 3, 4

Atrium Australia - Pacific Rim Pty Limited

AC002	Atrium PTFE Vascular Graft	Straight PTFE Standard Wall	6mm x 10cm - 10mm x 90cm	$1,355.00

AC004	Atrium PTFE  Vascular Graft	Vascular Access Graft PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	$1,100.00

AC013	Atrium PTFE Vascular Graft	Straight PTFE Thin Wall	6mm x 10cm - 10mm x 90cm	$1,655.00	$1,730.00

Bard Australia Pty Ltd

BA020	Impra PTFE Vascular Grafts 	ePTFE graft - thin wall, 10 - 50cm long	3mm - 10mm diameter	$919.00	$947.00

e, 1, 2, 3, 4, r

Bard Australia Pty Ltd

BA022	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall, 10-50cm long	4 - 19mm diameter	$955.00	$1,400.00

e, 3, 1

W L Gore & Associates

GT009	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto -Pulmonary & Systemic-	3.5-5mm Diameter x 15-20cm Length	$327.00

Pulmonary Shunts (ePTFE)

Prostheses List by Category, Groups and Sponsor	Page 834 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT132	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 8mm, Length 10cm	$198.00

GT133	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 20 - 30cm	$461.00

GT138	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 8mm, Length 10cm	$195.00

GT139	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20 - 30cm	$461.00

GT149	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 10cm	$245.00

GT150	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 20cm	$337.00

GT151	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 30cm	$526.00

GT152	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 40cm	$661.00

GT158	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 10cm	$255.00

GT159	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20cm	$347.00

GT160	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 30cm	$551.00

GT161	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 40cm	$661.00

GT167	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & Systemic-Pulmonary	Diameter 3.5 - 5mm, Length 5cm	$221.00

Shunts (ePTFE) Stretch & Non Stretch

e, 3, 1, 2

Atrium Australia - Pacific Rim Pty Limited

AC015	Atrium PTFE Vascular Graft	Vascular Access Graft PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	$1,348.00

AC020	Advanta SST, VXT, AFT GDS	PTFE Vascular Graft	4mm x 10cm - 24mm x 100cm	$3,000.00

Bard Australia Pty Ltd

BA025	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, 10-50cm long	3 - 19mm diameter	$919.00	$990.00

Terumo Corporation Australia

TU039	Rapidax™ Rapid Access Haemodialysis	Triple layered self sealing haemodialysis Access Graft. 	6mm x 20-50cm	$1,300.00

ePTFE internal and external layer with proprietary

elastomer inner layer - Straight

TU040	Rapidax™ Rapid Access Haemodialysis	Triple layered self sealing haemodialysis Access Graft. 	6mm x 30-50cm	$1,300.00

ePTFE internal and external layer with proprietary

elastomer inner layer - Per-curved

Prostheses List by Category, Groups and Sponsor	Page 835 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

e, 3, 1, 2, r

Bard Australia Pty Ltd

BA019	Impra PTFE Vascular Grafts 	ePTFE graft - radially supported, thin wall, 10 - 50cm long	4mm - 8mm diameter	$1,057.00	$1,400.00

BA021	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin wall, greater than 	4 - 8mm diameter	$1,325.00	$1,900.00

50cm long

e, 3, 2

B Braun Australia Pty Ltd

BB124	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 8mm, length 90 - 100cm	$1,055.00

BB125	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 70 - 100cm	$1,155.00

BB126	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length10 - 40cm	$725.00

BB127	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 10 - 40cm	$725.00

BB128	Vascugraft	Straight Standard Wall with Helix Support	Dia 6mm x  length 100cm	$1,260.00

BB129	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 80 - 90cm	$1,260.00

BB132	Vascugraft	Thin Wall Centre Helix	Dia 6mm, length 45cm	$725.00

BB137	Vascugraft	Standard with Centred Helix	Dia 4 - 8mm, length 70 - 90cm	$1,019.00

BB141	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 70 - 80cm	$950.00

BB142	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 40 - 60cm	$850.00

BB144	Vascugraft	Easy Glide - Thin Wall Straight	Dia 6 - 8mm, length 40 - 70cm	$850.00

Bard Australia Pty Ltd

BA024	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, greater than 50cm long	3 - 10 diameter	$1,159.00	$1,300.00

W L Gore & Associates

GT134	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 50cm	$725.00

GT141	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 50cm	$725.00

GT142	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 60cm	$860.00

GT143	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 70cm	$860.00

GT145	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 - 100cm	$1,075.00

GT153	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 50cm	$860.00

GT154	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 60cm	$860.00

Prostheses List by Category, Groups and Sponsor	Page 836 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT157	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 - 100cm	$1,275.00

GT162	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 50cm	$807.00

e, 3, 2, 1

B Braun Australia Pty Ltd

BB119	Vascugraft	PTFE, Straight Standard Wall	Dia 4 - 10mm, length 40 - 50cm	$850.00

BB120	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 10 - 50cm	$850.00

e, 3, 2, 1, r

B Braun Australia Pty Ltd

BB133	Vascugraft	Thin Wall Centre Helix	Dia 5 - 6mm, length 45 - 50cm	$935.00

e, 3, 2, 4

W L Gore & Associates

GT131	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 70cm	$970.00

e, 3, 2, h

W L Gore & Associates

GT221	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6-8mm diameter Non-Ringed 40cm length	$858.00

GT222	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6-8mm diameter Non-Ringed 80cm length	$1,285.00

e, 3, 2, r

B Braun Australia Pty Ltd

BB122	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 90cm	$1,160.00

BB130	Vascugraft	Straight Standard Wall with Helix Support	Dia 4 - 6mm, length 50 - 70cm	$1,055.00

BB134	Vascugraft	Thin Wall Centre Helix	Dia 4 - 8mm, length 70 - 80cm	$1,045.00

BB146	Vascugraft	Easy Glide - Thin Wall Straight with Helix Support	Dia 6 - 8mm, length 40 - 80cm	$1,045.00

e, 3, 4, 1

W L Gore & Associates

GT140	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 40cm	$638.00

GT168	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & Systemic-Pulmonary	Diameter 3.5 - 5mm, Length 10cm	$262.00

Shunts (ePTFE) Stretch & Non Stretch

Prostheses List by Category, Groups and Sponsor	Page 837 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT193	Gore-tex Vascular Grafts	Standard  Wall Grafts (ePTFE)	6-10mm Diameter x 40cm Length	$618.00

GT195	Gore-tex Vascular Graft	Standard wall grafts (ePTFE)	Diameter 6mm x 20cm length	$321.00

GT200	Gore-tex Vascular Graft	Standard wall grafts stretch (ePTFE)	Diameter 6-12mm x 20cm length	$332.00

e, 3, 4, 1, b

Terumo Corporation Australia

TU025	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	$919.00

TU027	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	$919.00

e, 3, 4, 1, r, b

Terumo Corporation Australia

TU029	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally Reinforcement, 	5 to 10mm x 10 to 40cm	$990.00

PTFE

e, 3, 4, 2

B Braun Australia Pty Ltd

BB123	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 10mm, length 80cm	$1,155.00

Bard Australia Pty Ltd

BA026	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, greater than 50cm long	3 - 10mm diameter	$1,075.00	$1,450.00

W L Gore & Associates

GT135	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 60cm	$860.00

GT136	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,075.00

GT137	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 90 - 100cm	$1,075.00

GT144	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,075.00

GT155	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 70cm	$1,100.00

GT156	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,159.00

GT163	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 3 - 10mm, Length 60cm	$950.00

GT164	Gore-Tex Vascular Grafts	Thin wall grafts (ePTFE)	Dia 3 - 10mm, length 70cm	$1,021.00

GT165	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,159.00

GT166	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 90 - 100cm	$1,275.00

Prostheses List by Category, Groups and Sponsor	Page 838 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

e, 3, 4, 2, b

Terumo Corporation Australia

TU026	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	$1,159.00	$1,394.00

TU028	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	$1,075.00

e, 3, 4, 2, r

Bard Australia Pty Ltd

BA023	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall, greater than 	4 - 10mm diameter	$1,325.00	$1,800.00

50cm long

e, 3, 4, 2, r, b

Terumo Corporation Australia

TU030	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally Reinforcement, 	5 to 10mm x 50 to 80cm	$1,325.00

PTFE

TU032	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally Reinforced, PTFE	5 to 10mm x 60 to 80cm	$1,800.00

TU035	SEALPTFE Graft	Thin Wall, Straight, Sealed externally Reinforced, Vascular 	5 to 10mm x 50cm	$1,429.00

Artificial Arteries/Prostheses of PTFE, Sealed with Gelatin

e, 3, 4, r

B Braun Australia Pty Ltd

BB121	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 60 - 80cm	$990.00

e, 4, 1

W L Gore & Associates

GT146	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 20cm	$421.00

GT147	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 30cm	$551.00

GT148	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 40cm	$725.00

e, r, 1, 2, 3, 4

Atrium Australia - Pacific Rim Pty Limited

AC001	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	$1,468.00

AC012	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	$1,800.00	$2,650.00

Prostheses List by Category, Groups and Sponsor	Page 839 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

W L Gore & Associates

GT176	Gore-tex Vascular Ring Graft	Ringed Grafts Fixed Standard & Thin Wall (ePTFE)	Diameter 6 - 10mm x 30 - 70cm Length 	$1,175.00

,Ringed Section 20 - 50cm Lengths

GT177	Gore-tex Vascular Ring Graft	Ringed Grafts Fixed Thin Wall & Ringed Standard Wall 	Diameter 6 - 10mm x 30 - 70cm Length,  	$1,325.00

(ePTFE)	Ringed Section 20 - 50cm Lengths

GT181	Gore-tex Vascular Ring Graft	Ringed Grafts Fixed Standard Wall & Stretch  Standard 	Diameter 6 - 10mm x 30 - 70cm Lengths, 	$1,378.00

Wall (ePTFE)	Ringed Section 20 - 50cm Lengths

e, r, 1, 3, 4

W L Gore & Associates

GT197	Gore-tex Vascular Ring Graft	Ringed grafts fixed standard/thin wall (ePTFE)	Diameter 8mm x 30cm, ringed section 20cm 	$847.00

length

e, r, 3, 2

W L Gore & Associates

GT007	Gore-Tex Vascular Ring Graft	Ringed Grafts Fixed THIN WALL STRETCH (ePTFE)	6-10mm Diameter x 30-70cm Lengths - 	$1,230.00

Ringed Section 20-50cm Lengths

GT008	Gore-Tex Vascular Ring Graft	Ringed Grafts REMOVABLE THIN WALL STRETCH 	6-8mm Diameter x 80cm Length - Ringed 	$1,805.00

(ePTFE)	Section 70cm Length

GT178	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 6 - 8mm x 60 - 70cm Length,  	$1,404.00

Ringed Section 30cm Length

GT179	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 5 - 6mm x 70cm Length,  Ringed 	$1,634.00

Section 60cm Length

GT180	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 5 - 6mm x 80cm Length, Ringed 	$1,736.00

Section 60cm Length

GT182	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 6mm, Lengths 80 - 90 cm, Ringed 	$1,800.00

Section 60cm Length

GT183	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 8mm, Lengths 80 - 90 cm, Ringed 	$1,940.00

Section 70cm Length

GT184	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch (ePTFE)	Diameter 6 - 8mm x 70cm Length, Ringed 	$1,520.00

Section 30cm Length

GT185	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch (ePTFE)	Diameter 6mm x 80cm Length, Ringed 	$1,532.00

Section 30cm Length

Prostheses List by Category, Groups and Sponsor	Page 840 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT186	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch (ePTFE)	Diameter 6mm x 70cm Length, Ringed 	$1,634.00

Section 60cm Length

GT187	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch (ePTFE)	Diameter 6 - 8mm x 70cm Length, Ringed 	$1,685.00

Section 60 - 70cm Length

GT212	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch thin walled 	Dia 6-8mm, 60cm radial supported length x 	$1,919.00

graft	60cm length

GT213	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch thin walled 	Dia 6-8mm, 80cm radial supported length x 	$2,165.00

graft	80cm length

e, r, 3, 2, h

W L Gore & Associates

GT218	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6mm diameter 30cm Removable Ring - 70cm 	$1,800.00

length

GT219	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6mm diameter 60cm Removable Ring - 70cm 	$1,858.00

length

GT220	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6-8mm diameter 60-70 Removable Ring - 	$1,960.00

80cm length

e, r, 3, 4, 1

W L Gore & Associates

GT196	Gore-tex Vascular Ring Graft	Ringed grafts fixed standard/thin wall (ePTFE)	Diameter 4-6mm x 10-15cm, ringed section 	$684.00

2.5-5cm lengths

GT211	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch thin walled 	Dia 6-8mm, 40cm radial supported length x 	$1,470.00

graft	40cm length

e, r, 3, 4, 2

W L Gore & Associates

GT198	Gore-tex Vascular Ring Graft	Ringed grafts fixed standard/thin wall (ePTFE)	Diameter 5-8mm x 60-70cm, ringed section 	$1,348.00

20-30cm lengths

GT199	Gore-tex Vascular Ring Graft	Ringed grafts fixed thin wall stretch (ePTFE)	Diameter 6-8mm x 60-80cm, ringed section 	$1,380.00

20-30cm lengths

p, 1, 2, 3, 4, b

Terumo Corporation Australia

TU023	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 40-60cm	$915.00

p, 1, 3

Bard Australia Pty Ltd

BA018	Exs Bionit Vascular Grafts	Polyester graft - EXS	8mm - 10mm diameter, 35cm length	$725.00	$990.00

Prostheses List by Category, Groups and Sponsor	Page 841 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

p, 2, 4, 1, b

Terumo Corporation Australia

TU022	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 10-30cm	$860.00

p, 3, 2, b

Atrium Australia - Pacific Rim Pty Limited

AC019	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 40cm  - 8mm  x 100cm	$1,095.00

p, 3, 2, r, b

St. Jude Medical Australia Pty Ltd

SJ046	Intergard K	Knitted Radially Supported	6mm x 70cm - 8mm x 60cm	$1,230.00

p, 3, 4, 1, b

Atrium Australia - Pacific Rim Pty Limited

AC018	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 15cm  - 24mm  x 30cm	$1,055.00

St. Jude Medical Australia Pty Ltd

SJ041	Intergard W	Woven Straight	6mm x 30cm  -  38mm x 30cm	$1,075.00

SJ044	Intergard K	Knitted Straight	6mm x 40cm - 24mm x 40cm	$970.00

Terumo Corporation Australia

TU008	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	6 to10mm x 30cm	$860.00

Fluoropolymer/polyester, Knitted

p, 3, 4, 1, r, b

Terumo Corporation Australia

TU010	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. 	6 to10mm x 30cm	$970.00

Fluoropolymer/polyester, Knitted

TU019	Gelsoft Plus Graft	Femorofemoral, Polyester, Knitted	6mmx30cm to  8mmx40cm	$875.00

p, 3, 4, 2

Bard Australia Pty Ltd

BA017	Grafts Vascular	Polyester grafts - straight	5mm - 25mm diameter, 50cm-75cm length	$715.00	$736.00

Terumo Corporation Australia

TU006	Twillweave Graft	Straight, Polyester, Woven, Unsealed	6-24mm x 50-60cm	$653.00

Prostheses List by Category, Groups and Sponsor	Page 842 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

p, 3, 4, 2, 1, b

Terumo Corporation Australia

TU020	Gelsoft Plus Graft	Straight, Polyester, Knitted	6 - 24mm x 12.5 - 30cm	$860.00

p, 3, 4, 2, b

Terumo Corporation Australia

TU009	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	6 to10mm x 40 to 70cm	$970.00

Fluoropolymer/polyester, Knitted

TU021	Gelsoft Plus Graft	Straight, Polyester, Knitted	6-24mm x 50-60cm	$900.00

p, 3, 4, 2, r, b

Terumo Corporation Australia

TU016	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 75m	$1,230.00

TU017	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 100cm	$1,280.00

p, 4, 1

B Braun Australia Pty Ltd

BB021	Vascular Uni - Graft  	Vascular graft	40cm	$665.00

BB022	Vascular Uni - Graft 	Vascular graft	30cm	$540.00

BB023	Vascular Uni - Graft  	Vascular graft	20cm	$470.00

BB024	Vascular Uni - Graft  	Vascular graft	15cm	$391.00

BB025	Vascular Uni - Graft  	Vascular graft	10cm	$240.00

p, 4, 1, g

B Braun Australia Pty Ltd

BB018	Vascular Uni - Graft  	Vascular graft	100cm	$770.00

BB020	Vascular Uni - Graft   	Vascular graft	50cm	$625.00

p, 4, 2

B Braun Australia Pty Ltd

BB019	Vascular Uni - Graft  	Vascular graft	60cm	$665.00

p, b, 1, 3

St. Jude Medical Australia Pty Ltd

SJ111	InterGard Knitted UltraThin	Straight	6mm x 40cm to 8mm x 70mm	$970.00

Prostheses List by Category, Groups and Sponsor	Page 843 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

p, b, 1, 4

St. Jude Medical Australia Pty Ltd

SJ107	InterGard HemaBridge	Aortic Graft	20 x 10mm - 36 x 10mm diameter, 35 x 	$1,075.00

40cm length

p, r, b, 1, 3

St. Jude Medical Australia Pty Ltd

SJ112	InterGuard UltraThin Knitted	Radially Supported Straight	6mm - 70cm to 8mm - 70cm	$1,230.00

t, 1, 3

Lifehealthcare Pty Ltd

LH004	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular Access Graft	Length 40cm	$1,250.00

LH006	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular Access Graft	Length 20cm	$834.00

t, 2, 3

Lifehealthcare Pty Ltd

LH005	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular Access graft	Length 50cm	$1,250.00

t, 3, 1

Bio Nova International Pty Ltd

BN004	Omniflow II Vascular Prosthesis - Straight	-	3 - 4 mm x 20 cm	$1,775.00

BN006	Omniflow II Vascular Prosthesis - Curved	AV Access	One size only	$2,403.00

t, 3, 2

Bio Nova International Pty Ltd

BN002	Omniflow II Vascular Prosthesis - Straight	-	5 - 10 mm x 65 cm	$3,891.00

BN003	Omniflow II Vascular Prosthesis - Straight	-	5 - 10 mm x 55 cm	$3,357.00

Group 3b - Bifurcated

Atrium Australia - Pacific Rim Pty Limited

AC026	Advanta SST	Bifurcated PTFE Graft	12mm - 24mm X 6mm - 12mm Length 40cm	$3,384.00

Prostheses List by Category, Groups and Sponsor	Page 844 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

e, 4, 1

W L Gore & Associates

GT006	Gore-Tex Bifurcated Graft	ePTFE	12x6mm to 24x12mm 40-50cm long	$962.00

p

Bard Australia Pty Ltd

BA014	Grafts Vascular	Axillo-bifemoral polyester graft	8mm-10mm diameter, 50cm- 100cm length	$980.00	$1,009.00

p, 3, 4, 1

Bard Australia Pty Ltd

BA012	Grafts Vascular	Polyester knitted grafts - bifurcated	12mm - 24mm Aortic diameter, 6mm - 12mm	$962.00	$991.00

Iliac/Femoral diameter

p, 3, 4, 1, b

Atrium Australia - Pacific Rim Pty Limited

AC016	Atrium Ultramax PET Grafts	Bifurcate Polyster Graft	12mm x 24mm - 6mm x 12mm x 40cm	$1,000.00

St. Jude Medical Australia Pty Ltd

SJ045	Intergard K	Knitted Bifurcated	12mm x 6mm - 24mm x 12mm	$1,020.00

p, 3, 4, 2

Terumo Corporation Australia

TU007	Twillweave Graft	Bifurcate, Polyester, Woven, Unsealed	12mm x 6mm x 45cm to 24mm x 12mm x 	$904.00

45cm

p, 3, 4, 2, b

Terumo Corporation Australia

TU013	Gelweave Graft	Bifurcated, Polyester, Woven	12mmx 6mmx 45 cm to 24mmx12mm x 45cm	$962.00

TU014	Gelsoft Plus Graft	Bifurcated, Polyester, Knitted	12mmx6mmx45cm to 24mmx12mmx45cm	$962.00

p, 4, 1

B Braun Australia Pty Ltd

BB027	Vascular Uni - Graft - Bifurcated	Vascular graft	12x7 to 12x12	$375.00

Prostheses List by Category, Groups and Sponsor	Page 845 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Bard Australia Pty Ltd

BA011	Grafts Vascular	Polyester soft-woven graft - bifurcated	13mm - 25mm diameter aortic diameter, 	$873.00	$899.00

6.5mm - 12.5 mm Iliac/Femoral diameter

p, 4, 1, b

St. Jude Medical Australia Pty Ltd

SJ042	Intergard W	Woven Bifurcated	18mm x 9mm  -  24mm x 12mm	$1,020.00

Group 3c - Branched or Fenestrated (2 or more)

e, r, 3, 2

W L Gore & Associates

GT216	Gore-tex Axillobifemoral Vascular Graft	Stretch vascular graft with removable rings (ePTFE)	Diameter 8mm	$1,950.00

p, 3, 2, r, b

St. Jude Medical Australia Pty Ltd

SJ047	Intergard K	Knitted Axillobifemoral	Diameter (mm) Length (cm) 8 x 8 100/60; 10 	$1,950.00

x 10 100/60; 8 x 6 x 6 85/55; 8 x 8 85/55; 8

x 8 100/55

p, 3, 4, 2, r, b

Terumo Corporation Australia

TU018	Gelsoft Plus Graft	Axillofemoral, Polyester, Knitted	8x8mm/100x60cm; 8x7mm/90x40cm; 	$1,950.00

10x8mm/90x40cm

p, 4, 1, b

St. Jude Medical Australia Pty Ltd

SJ043	Intergard W	Woven Aortic Arch	24mm x 10mm x 8mm x 8mm x 50cm - 	$1,950.00

30mm x 10mm x 8mm x 8mm

p, 4, 2, b

Atrium Australia - Pacific Rim Pty Limited

AC017	Atrium Ultramax PET Grafts	Axillo-bifemoral Polyster Graft	8mm - 10mm  100 x 60cm	$1,950.00

Prostheses List by Category, Groups and Sponsor	Page 846 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 3d - Tapered or End-modified

e, 3, 1, 2

Atrium Australia - Pacific Rim Pty Limited

AC014	Atrium PTFE Vascular Graft	Tapered PTFE Thin Wall	4-6mm x 30cm - 6-8mm x 90cm	$1,634.00	$1,825.00

Bard Australia Pty Ltd

BA029	Impra PTFE Vascular Grafts 	Venaflo ePTFE graft with preformed cuff	4mm - 8mm diameter, 10cm - 50cm length	$842.00	$1,260.00

e, 3, 1, b

Terumo Corporation Australia

TU033	SEALPTFE Graft	Standard Wall, Tapered, Sealed, PTFE	4 to 7mm Taper x 40 to 50cm	$875.00

e, 3, 2

B Braun Australia Pty Ltd

BB131	Vascugraft	Thin Wall Tapered	Dia 4 - 8mm, length 40 - 90cm	$925.00

BB136	Vascugraft	Standard Tapered	Dia 4 - 8mm, length 70 - 90cm	$1,025.00

BB138	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 30 - 70cm	$875.00

BB139	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 80cm	$1,025.00

BB143	Vascugraft	Easy Glide - Standard Wall with Helix Short Taper	Dia 6 - 8mm, length 40 - 70cm	$875.00

BB145	Vascugraft	Thin Wall Centred Helix Tapered	Dia 4 - 7mm, length 70cm	$875.00

BB155	Vascugraft	Standard Tapered	Dia 4 - 7mm, length 30 - 70cm	$875.00

BB157	Vascugraft	Standard Wall Stepped Taper	Dia 4 - 8mm, length 40 - 45cm	$825.00

Bard Australia Pty Ltd

BA027	Impra PTFE Vascular Grafts 	Distaflo ePTFE graft with preformed cuff	6-10mm diameter, 40 - 80cm length	$875.00	$1,700.00

BA171	Dynaflo AK Bypass Graft	PTFE Graft	7 & 8mm diameter. 50, 60, 70, 80cm lengths	$1,075.00	$2,000.00

W L Gore & Associates

GT171	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-6mm & 4-7 mm, Length 45 - 48cm	$842.00

GT172	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-7 mm, Length 70cm	$1,047.00

GT192	Gore-tex Vascular Grafts	Standard Wall Grafts Tapered (ePTFE)	4.5-6.5mm & 6-8mm Diameter x 70-90cm 	$1,047.00

Lengths

Prostheses List by Category, Groups and Sponsor	Page 847 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

e, 3, 2, r

B Braun Australia Pty Ltd

BB156	Vascugraft	Standard Wall with Tapered Centre Helix	Dia 4 - 8mm, length 40 - 45cm	$825.00

Bard Australia Pty Ltd

BA028	Impra PTFE Vascular Grafts	Distaflo ePTFE graft with preformed cuff and flex support	6-10mm diameter, 40 - 80cm length	$1,327.00	$2,250.00

e, 3, 4, 2

W L Gore & Associates

GT010	Gore-Tex  Vascular Graft	THIN Wall Grafts TAPERED (ePTFE)	4.5-6.5 & 6-8mm Diameter x 80-90cm 	$1,179.00

Lengths

GT194	Gore-tex Vascular Graft	Standard wall grafts, tapered (ePTFE)	Diameter 4.5-7mm, lengths 40-50cm	$618.00

e, r, 1, 2, 3, 4

W L Gore & Associates

GT169	Diastat Vascular Access Graft	Dialysis Grafts - Standard & Stretch Ringed (ePTFE)	6mm diameter x 45-50cm length Std & 	$777.00

Stretch ringed dialysis graft/6mm diameter 5-

10cm radial support length 20cm length

e, r, 3, 1

W L Gore & Associates

GT175	Gore-tex Vascular Grafts	Ringed Grafts Removable Standard Wall Tapered (ePTFE)	4-7 mm x 70cm - Rings 30cm  Length	$1,200.00

e, r, 3, 1, 2

Atrium Australia - Pacific Rim Pty Limited

AC003	Atrium PTFE  Vascular Graft	Tapered PTFE Standard Wall	4-6mm x 30cm - 6-8mm x 90cm	$1,200.00

e, r, 3, 2

W L Gore & Associates

GT174	Gore-tex Vascular Grafts	Ringed Grafts Removable Standard Wall/Stretch Wall 	4-7 mm x 45cm - Rings 10cm  Length	$842.00

Tapered (ePTFE)

Prostheses List by Category, Groups and Sponsor	Page 848 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT214	Gore-Tex Intering Vascular Graft	Internally radially supported vascular graft (ePTFE)	4-6 tapered diameter 38cm radial support 	$842.00

length 45cm length; 4-7 tapered diameter

38cm radial support length 45cm length; 6mm

diameter 40cm radial support length 40cm

length

p, 4, 1

B Braun Australia Pty Ltd

BB026	Vascular Uni - Graft - Tapered	Vascular graft	12x6 to 24x12	$702.00

Group 4 - Patches

Group 4a - Biological

1

Bio Nova International Pty Ltd

BN005	Omniflow II Vascular Prosthesis - Straight	Vascular Patch	One size only	$672.00

1, 2, b

Atrium Australia - Pacific Rim Pty Limited

AC025	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch.  Composition is 	Size range 8mm x 75mm to 50mm x 152mm	$270.00

polyester impregnated with absorbable gelatin

Group 4b - Synthetic

1

Bard Australia Pty Ltd

BA039	Grafts Vascular	Polyester pledgets	Rectangle, Oval, Circle, Square 2.9mm-8mm 	$87.00	$90.00

x 6mm - 9.5mm

BA089	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular Patch 0.4mm Oval	20 x 90mm	$203.00	$209.00

BA090	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Circular	100 x 150mm	$764.00	$787.00

BA091	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Rectangular	50 x 75mm	$372.00	$383.00

BA092	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Rectangular	50 x 150mm	$372.00	$383.00

BA093	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Rectangular, Patch 	30 x 30mm, 10 x 90mm, 30 x 60mm	$1,593.00	$1,641.00

0.4 Oval, Rectangular

BA095	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Rectangular	25 x 150mm	$313.00	$322.00

Prostheses List by Category, Groups and Sponsor	Page 849 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

1, 2

B Braun Australia Pty Ltd

BB017	Vascular Patch	Vascular patch	12x9 to 3x4	$205.00

1, 2, b

Terumo Corporation Australia

TU012	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Knitted	0.6 x 7.5cm to 1.5 x 7.5cm	$250.00

2

Bard Australia Pty Ltd

BA031	Grafts Vascular	Polyester soft tissue patch 1mm thick 	5cm x 10cm	$153.00	$158.00

BA032	Grafts Vascular	Polyester soft tissue patch 1mm thick 	10cm x 15cm	$286.00	$295.00

BA033	Grafts Vascular	Polyester soft tissue patch 1mm thick 	15cm x 20cm	$388.00	$400.00

BA034	Grafts Vascular	Polyester soft tissue patch 1mm thick 	20cm x 30cm	$459.00	$473.00

BA035	Grafts Vascular	PTFE Felt 2mm thick	5cm x 10cm	$153.00	$158.00

BA036	Grafts Vascular	PTFE Felt 2mm thick	10cm x 15cm	$286.00	$295.00

BA037	Grafts Vascular	PTFE Felt 2mm thick	15cm x 20cm	$388.00	$400.00

BA038	Grafts Vascular	PTFE Felt 2mm thick	20cm x 30cm	$459.00	$473.00

W L Gore & Associates

GT012	Soft Tissue Patch	ePTFE	1mm Thickness 5 x 10cm	$225.00

GT013	Soft Tissue Patch	ePTFE	1mm Thickness 10 x 15cm	$661.00

GT014	Soft Tissue Patch	ePTFE	1mm Thickness  15 x 20cm	$1,192.00

GT015	Soft Tissue Patch	ePTFE	1mm Thickness 20 x 30cm	$2,083.00

GT016	Soft Tissue Patch	ePTFE	2mm Thickness 5 x 10cm	$369.00

GT017	Soft Tissue Patch	ePTFE	2mm Thickness 10 x 15cm	$894.00

GT018	Soft Tissue Patch	ePTFE	2mm Thickness 15 x 20cm	$1,630.00

GT019	Soft Tissue Patch 	ePTFE	2mm Thickness 20 x 30cm	$2,808.00

Group 5 - Vessel Band

Group 5 - Vessel Band

AllVascular Pty Ltd

VA001	Venous Valve Ring	Dacron/silicone variable diameter ring	52mmx15mmx0.09 mm	$930.00

Prostheses List by Category, Groups and Sponsor	Page 850 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 6 - Embolic Protection Device

Group 6a - Venous, Retrievable

B Braun Australia Pty Ltd

BB106	Temporary Vena Cava System	Phynox/ combination of various metals inc. Nickel,Copper, 	One size, expands to Max length 38mm/Max 	$1,450.00

Molubden,Steel	diameter 30mm

BB169	Vena Cava Filter System	PHYNOX Introducer system, 'J' Guidewire, Seldinger 	Diameter 28 mm	$1,900.00

needle, disposable scalpel

Bard Australia Pty Ltd

BA010	Recovery Filter	Nitinol self expanding vena cava filter	28mm Filter, 7Fr delivery System	$2,150.00	$2,500.00

Interventional Dynamics

ID001	ALN Permanent or Retrievable Vena Cava Filter	The ALNA Vena Cava Filter is impanted into the SVC via 	The ALN vena cava is one size, suitable for a 	$1,450.00	$1,650.00

the femoral, brachial or jugular vein to prevent pulmonary 	diameter up to 32 mm.

emboli (PEs).

Johnson & Johnson Medical Pty Ltd

JJ423	OPTEASE retrievable vena cava filter	OPTEASE is a laser cut nitinol vena cava filter, used to 	Suitable for vessels up to 30mm	$2,348.00

treat patients at high risk of pulmonary embolisation

William A Cook Australia Pty Ltd

WC096	Cook Vena Cava Filter	Universal Filter	Diameter up to 40mm, Length up to 60mm	$2,348.00

Group 6b - Venous, Non-retrievable

Bard Australia Pty Ltd

BA009	Simon Filter Femoral - 2110F, Simon Filter Jugular - 	Nitinol self expanding vena cava filter - "Simon Nitinol Filter"	28mm Filter, 7Fr delivery	$2,064.00	$2,126.00

2210J, Simon Filter Anticubital - 2310A

William A Cook Australia Pty Ltd

WC043	Inferior Vena Cava Filter	Birds Nest Vena Cava Filter	Filter Catheter French Size 11.0 Length 40, 	$2,003.00

75 cm Introducer Sheath Assembly French

Size 12.0 Femoral/Jugular Approach

Prostheses List by Category, Groups and Sponsor	Page 851 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 6c - Arterial

Abbott Australasia Pty Ltd

AY018	Emboshield	Embolic Protection Device, including delivery system, 	Filters 3, 4, 5, and 6mm, Large and Small.. 	$2,100.00	Temporary Approval pending review of

device specific procedural wire, filter for capturing embolic 	Two wire lengths: 190cm for Monorail 	product group

matter and retrieval system	systems and 315cm for Over the Wire Systems

AY030	Accunet	Embolic Protection Device, including delivery system, 	4.5 - 7.5; 190cm, 300cm length catheter	$2,100.00

device specific procedural wire, filter for capturing embolic

matter and retrieval system.

Boston Scientific Australia Pty Ltd

BS084	Filterwire EZ	Stainless steel wire 0.014", either 190cm or 300cm long, 	3.5mm - 5.5mm on 190cm delivery system	$2,100.00	Temporary Approval pending review of

radiopaque nose cone from sheath - 6.5mm long and 	product group

composed of pebax, polyurethane 110micron pore filter

1.5cm long, suspended nitinol loop, articulating and

radiopaque, 3.2F sheath, radiopaque

BS085	Filterwire EZ	Embolic Protection Device	3.5mm - 5.5mm on 190cm delivery system. 	$2,100.00	Temporary Approval pending review of

3.5mm - 5.5mm on 300cm delivery systen.	product group

ev3 Australia Pty Ltd

EE022	Spider FX Embolic Protection Device	The Spider FX is a rapid exchange device percutaneously 	Filter:  3.0 - 7.0mm; Capture Wire:  190 and 	$2,100.00

delivered distal embolic protection device with components 	320cm

designed to capture and remove debris from vessels during

interventional procedures in the vasculature.

Johnson & Johnson Medical Pty Ltd

JJ445	ANGIOGUARD XP Emboli Capture Guidewire System	Distal protection device and delivery system	Length: 300cm, diameter: 0.014, Basket sizes 	$2,100.00	Temporary Approval, pending review of

4mm, 5mm, 6mm, 7mm, and 8mm	product group

JJ480	Angioguard RX Emboli Capture Guidewire System	Distal protection device and delivery system	Length 180cm, Diameter 0.014"; basket sizes 	$2,100.00	$2,300.00	Temporary Approval pending review of

4mm, 5mm, 6mm, 7mm and 8mm	product group

Prostheses List by Category, Groups and Sponsor	Page 852 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC370	GuardWire Plus Temporary Occlusion and Aspiration 	GuardWire temporary occlusion balloon, MicroSeal 	Length 200 and 300cm; Balloon Occlusion 	$2,100.00	Temporary Approval pending review of

System	adaptor, EZ Flator, Export Aspiration Catheter and filter. 	Diameter: 3.0-6.0mm; Distal Tip Length: 	product group

Materials: nitinol hypotube, a soft elastic polymer, 	2.5cm; Guard Wire Shaft O.D: 3.5mm

polycarbonate, polyurethane, stainless steel

MC715	Interceptor Plus Filter System	Braided Nitol	Filter: 3.5 - 6.5mm; Length: 180cm; Profile: 	$2,100.00

0.032 - 0.036"

MC851	Defender Coronary and Carotid Filter System	Distal embolic protection device and delivery system	Filter 2.5 - 6.5mm; Length 180cm; Profile 	$2,100.00

0.014 - 0.070"(0.356 - 1.78mm)

St. Jude Medical Australia Pty Ltd

SJ080	Proxis Embolic Protection System	Proximal embolic protection device and delivery system	7F and 8F	$2,100.00	Temporary listing pending review of distal

protection devices

Group 7 - Arterial Closure Devices

Group 7 - Arterial Closure Devices

Abbott Australasia Pty Ltd

AY017	Starclose	6 Fr Exchange Sheath, Dilator, Guidewire, implantable 	6 Fr	$410.00

nitinol clip pre-mounted on a Clip Applier

AY033	Proglide	Stuture Mediated Closure Device	5 - 8 French	$410.00

AY034	Prostar	Stuture Mediated Closure Device - Closure of Large holes	Up to 24 French	$750.00

Medtel Australia Pty Ltd

ME107	Superstitch	Suture Mediated Closure Device	Sheath sizes: 6F and 8F	$390.00	Temporary Approval

Medtronic Australasia Pty Ltd

MC679	AngioLink Vascular Closure Device	Titanium staple	6F - 8F	$410.00

Radi Medical Systems Pty Ltd

RM001	FemoSeal Vascular Closure System	Haemostatic Puncture Closure Device	One Size	$410.00

St. Jude Medical Australia Pty Ltd

SJ094	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure Device Models 	6F	$410.00

6F STS Platform, 6F STS Plus and 7F VIP

Prostheses List by Category, Groups and Sponsor	Page 853 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ095	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure Device Models 	8F	$410.00

8F STS Platform, 8F STS Plus and 8F VIP

SJ155	Angio-Seal Evolution	Haemostatic Puncture Closure Device 6F-8F	6F and 8F	$410.00

b

St. Jude Medical Australia Pty Ltd

SJ014	Angio-Seal Vascular Closure Device - STS Platform and	Angio-Seal Haemostatic Puncture Closure Device, Models 	6F	$410.00	Temporary approval

STS Plus	6F-STS Platform and 6F STS Plus

SJ015	Angio-Seal Vascular Closure Device - STS Platform and	Angio-Seal Haemostatic Puncture Closure Device, Models 	8F	$410.00	Temporary approval

STS Plus	8F-STS Platform and 8F STS Plus

Group 8 - Occlusion Devices

Group 8a - Particles

Boston Scientific Australia Pty Ltd

BS031	PVA/Contour SE for embolization and delivery system	Polyvinyl alcohol foam and Microcatheter for delivery	45-150 micron, 150-250 micron, 250-355 	$904.00

micron, 355-500 micron, 500-710 micron,

710-1000 micron, 1000-1180 micron, 150-

175cm/3-25cm

BS034	PVA Particles (contour embolisation, Contour SE 	Polyvinyl alcohol foam, Hydrophilic Spherical Shape	45-150 micron, 150-250 micron, 250-355 	$204.00

micron, 355-500 micron, 500-710 micron,

710-1000 micron, 1000-1180 micron; 1ml,

2ml

Device Technologies Australia Pty Ltd

DE294	Bead Block	Plyvinyl Alcohol hydrogel microspheres in pre-loaded 	2ml- (100 - 300, 300 - 500, 500 - 700, 700 	$623.00

syringe	- 900, 900 - 1200 microns

Endotherapeutics Pty Ltd

ET052	Hepasphere	Expanding microspheres designed for chemic0-	50 - 200 microns	$1,000.00	$2,000.00

embolisation with chemotherapeutic agents such as Ethiodil,

Cisplatin, Epirubicin, Mitomycin, etc.

Prostheses List by Category, Groups and Sponsor	Page 854 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

William A Cook Australia Pty Ltd

WC044	PVA Embolisation particles	Embolization & Occlusion	Particle Size Ranges (microns) 50-100, 100-	$204.00

200, 200-300,300-500, 500-700, 700-1000,

1000-1500, 1500-2000, 2000-2800

Group 8b - Coil, Peripheral

Boston Scientific Australia Pty Ltd

BS026	Braided Occlusion Device (BOD) Fibered Platinum Coil	Fibered Platinum Coil, Pushable	Coils 2-30mm x3-60mm	$143.00

Johnson & Johnson Medical Pty Ltd

JJ224	TruFill Pushable coil	Platinum pushable  coil of 1. Straight, 2. C, 3. Flat spiral 	Size .014" outer diameter.  Size 2 - 10mm and	$34.00

and 4. Complex shapes.  Embolic coil and delivery tube.	 length 2 - 100mm

William A Cook Australia Pty Ltd

WC037	Coil - Embolisation MWCE	Standard Stainless Steel	Diameters: .025, .035, .038 and .052, 	$113.00

Extended Lengths: 1cm to 20cm, Coil Taper

Diameters: 2mm to 10mm

WC038	Coil - Embolisation Coils MWCE-TORNADO	Tornado Platinum	Diameters: .018, .035 and .038, Coil Taper 	$218.00

Diameters: 2mm to 10mm

WC039	Cook Embolization Coil	Hilal Platinum	Diameters: .018, Extended Lengths: .5cm to 	$208.00

6cm, Coil Diameters: Straight to 10mm

WC076	Flipper-Patient Ducts Arteriosus-Occluding System 	Detachable Coil for PDA Closure	Coil Diameter 3,5,6.5 & 8 mm Number of 	$239.00

Loops (3,4,5)

WC173	Cook Embolisation Coils	Nester Platinum	Diameters: .018 and .035, Extended Lengths: 	$247.00

14cm, Coil Diameters: 3mm to 10mm

WC190	Detachable Mreye Embolization Coils	Standard Mreye	Diameters: .035 and .038, Extended Lengths: 	$66.00

1cm to 20cm, Coil Diameters: 3mm to 20mm

WC191	Cook Intravascular Embolization Prostheses	Hilal Platinum (Soft)	Diameters: .018; Extended Lengths: 5cm to 	$152.00

3cm, Coil Diameters: Straight to 10mm

Prostheses List by Category, Groups and Sponsor	Page 855 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC192	Detachable Mreye Embolization Coils	Jackson Mreye	Diameters: .035 and .038 Extended Lengths:  	$137.00

4cm to 6cm Coil Diameters: 3mm to 12mm

Group 8d - Polymer

ev3 Australia Pty Ltd

EE018	Onyx	DSMO/Liquid Embolic Material	18, 20, 34 (formulations)	$2,300.00

EE019	Onyx System	DSMO Liquid Embolic Material	500 Formulation	$4,950.00

a, b

Endotherapeutics Pty Ltd

ET007	Embospheres	-	1ml per implant	$414.00

ET008	Embospheres	-	.5ml per implant	$311.00

b

Endotherapeutics Pty Ltd

ET006	Embospheres	-	2ml per implant	$623.00

i

Boston Scientific Australia Pty Ltd

BS028	GDC Delivery Catheters	Microcatheter Delivery Systems	150-175cm/3-25cm	$700.00	Only to be funded when used with a coil

Group 8e - Detachable Balloon or Sphere

Medtel Australia Pty Ltd

ME182	Amplatzer Vascular Plug	Self expandable nitinol wire mesh	Diameter 4mm - 16mm, Length 7 & 8mm	$1,900.00

Prostheses List by Category, Groups and Sponsor	Page 856 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

i

Medtel Australia Pty Ltd

ME186	AMPLATZER Vascular Plug - II	The AMPLATZER Vascular Plug II is a self-expandable, 	9-AVP2-003, 3mm Diameter, 6mm Plug 	$2,100.00

multi-lobed cylindraical device made from a nitinol wire 	Length.

mesh. The device is secured on both ends with platinum 	9-AVP2-004, 4mm Diameter, 6mm Plug

marker bands, A stainless steel micro screw is welded to 	Length.

one of the platinum marker bands, which allows attachment 	9-AVP2-006, 6mm Diameter, 6mm Plug

to a delivery wire. The plug is preloaded into a loader 	Length.

attached to a nitinol pusher wire and is coiled in a hoop 	9-AVP2-008, 8mm Diameter, 7mm Plug

dispenser	Length.

9-AVP2-010, 10mm Diameter, 7mm Plug

Length.

9-AVP2-012, 12mm Diameter, 9mm Plug

Length.

9-AVP2-014, 14mm Diameter, 10mm Plug

Length.

9-AVP2-016, 16mm Diameter, 12mm Plug

Length.

9-AVP2-018, 18mm Diameter, 14mm Plug

Length.

9-AVP2-020, 20mm Diameter, 16mm Plug

Length.

9-AVP2-022, 22mm Diameter, 18mm Plug

Length.

Group 9 - Long-term Vascular Access Devices

Group 9a - Percutaneous Catheters - single lumen

Bard Australia Pty Ltd

BA167	Poly RadPICC Catheters	Single lumen open-ended Polyurethane	3, 4, 5Fr with 70cm guide wire	$130.00	$134.00	Temporary approval pending review of

catheters

BA168	Poly RadPICC Catheters	Single Lumen open-ended Polyurethane	4, 5Fr with 135cm guide wire	$130.00	$134.00	Temporary approval pending review of

catheters

BA184	PowerPICC	Single Lumen Power Injector Catheter	5F, 55cm length	$165.00

Boston Scientific Australia Pty Ltd

BS087	Vaxcel PASV PICC	Single lumen catheters	3, 4, 5 & 6 Fr	$175.00	Temporary approval pending review of

catheters

Prostheses List by Category, Groups and Sponsor	Page 857 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mayo group

CM022	Arrow single lumen pressure injectable peripherally 	Single lumen pressure injectable peripherally inserted 	4 Fr x 50cm, Single lumen	$165.00

inserted central catheter (PICC) set	central catheter (PICC) set

Medical Specialties  Australia Pty Ltd

MS009	Catheterisation kits(Horizon Medical)	Central Venous Catheter - right atrial catheter, silicone	2.7 -14F	$417.00

MS010	Catheterisation kits(HDC corp)	Central Venous Catheter - right atrial catheter, silicone	2 - 12F	$405.00

MS014	Injection/Infusion Ports Sterile	Plastic/titanium, single lumen	5-15F	$771.00

Tekmed Pty Ltd

TK007	Pro-PICC CT power injection and PICC therapy 	Mecomp Pro-PICC CT power injection and PICC therapy	Single and double lumen, 4, 5, and 6 french, 	$165.00

catheter sets	 catheter sets, incl. micro-puncture set, tearaway introducer	65cm or 130cm nitinol guidewire

sheath, nitinol marked guidewire with platinum tip, positive

pressure valved cap(s), syringe, statlock, mini scalpel, 21g

echo tip needle

William A Cook Australia Pty Ltd

WC111	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter set, which may 	3 - 6 Fr, 40 - 80cm	$135.00

include catheter, standard or micropuncture introducer set

WC113	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter set, includes 	Fr 3, 4, 5 and Length 50 and 60cm	$116.00

catheter, needle, J-wire, MPIS wire and introducer

WC201	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central Venous Catheter 	4Fr - 60cm and 5Fr - 60cm	$135.00

Set, Single Lumen Polyurethane with Micropuncture Peel-

Away Sheath Introducer and Wire Guide

WC202	Cook Central Venous Catheterisation Kits	Turbo-Flo Peripherally Inserted Central Venous Catheter 	5Fr - 60cm	$124.00

Set, Single Lumen Polyurethane with Peel Away Sheath

Introducer and Wire Guide

WC204	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The-Wire Peripherally Inserted Central 	4Fr - 60cm and 5Fr -60cm	$135.00

Venous Catheter Set, Single Lumen Polyurethane with

Micropuncture Peel-Away Sheath Introducer and Wire

Guide

Prostheses List by Category, Groups and Sponsor	Page 858 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC206	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter Set, 	3Fr - 50cm and 4Fr and 5Fr - 60cm	$244.00

Single Lumen Silicone with Micropuncture Peel-Away

Sheath Introducer and Nitinol Wire Guide

WC207	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter Set, 	3Fr - 50cm and 4Fr and 5Fr - 60cm	$135.00

Catheter without Clamp, Single Lumen Silicone with

Micropuncture Peel-Away Sheath Introducer and Wire

Guide

WC208	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter Set, 	4Fr - 60cm and 5Fr - 60cm	$246.00

Catheter without Clamp, Single Lumen Silicone with

Micropuncture Peel-Away Sheath Introducer and Nitinol

Wire Guide

a, i

William A Cook Australia Pty Ltd

WC221	Cook Spectrum Silicone Long Term Catheter Set	Single lumen catheter CVC impregnated with antibiotic with	4Fr, 5Fr	$185.00	Temporary approval pending review of

or without clamp	catheters

WC224	Cook Spectrum PICC Set / Line	Single lumen PICC catheter with antibiotic impregnation	4fg, and 5fg 60cm	$165.00	Temporary approval pending review of

catheters

a, m

William A Cook Australia Pty Ltd

WC227	Peripherally Inserted C/V Catheter with Anibiotic 	Micropuncture single lumen PICC with ABRM	4/5Fr	$204.00	Temporary Listing pending review of catheters

impregnation

cu

Bard Australia Pty Ltd

BA048	VitaCuff, Broviac Catheters	Silicone, with VitaCuff	2.4 - 6.6 French Catheter	$349.00	$359.00

BA049	Broviac Catheters	Without VitaCuff, silicone	2.4 - 6.6 French Catheter	$180.00	$185.00

BA050	Hickman Catheters Single	Without VitaCuff, silicone  	7 - 14.4F French Catheter	$252.00	$260.00

BA053	Vitacuff, Hickman Single Lumen Catheters	Silicone, with VitaCuff  	7 - 14.4F French Catheter	$349.00	$359.00

BA125	Groshong Catheter	Single Lumen, Sizes 3fr-8fr Groshong Valved-Closed 	Single Lumen, sizes 3fr-8fr	$323.00	$333.00

ended catheter

BA129	Vascular Catheter	PICC - may include a Groshong Valved - Closed ended 	Single Lumen 3Fr - 6Fr	$175.00	$180.00

PICC, Single Lumen 3Fr-6Fr

Prostheses List by Category, Groups and Sponsor	Page 859 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA008	Single Lumen Right Atrial Catheter	Central Venous Catheters constructed of radiopaque 	84cm, 1.3mm OD, 94cm 2.2mm OD, 94cm 	$54.00

silicone rubber	3.2mm OD

i

Mayo group

CM016	ARROWg+ard Blue Single Lumen Central Venous 	A polyurethane central venous catheter with Blue FlexTip 	CS-24301 - 16g x 20cm, Single Lumen, 	$80.00

Catheters	(of various lengths, sizes and lumen configurations) with 	Adult

antimicrobial impregnation (chlorhexidine and silver 	CS-24306E-16g x 16cm, Single Lumen Adult

sulphadiazine) on the external surface of the polyurethane

catheter body.	CS-24701 - 14g 20 cm, Single Lumen Adult

CS-24706E -14g x 16cm, Single Lumen,

Adult

Group 9b - Percutaneous Catheters - multiple lumen

Bard Australia Pty Ltd

BA130	Vascular Catheter	PICC- may include a Groshong Valved - Closed ended 	Dual Lumen 4Fr - 7Fr	$211.00	$217.00

PICC, Single Lumen 4Fr-7Fr

BA169	Poly RadPICC Catheters	Double Lumen open-ended Polyurethane	4, 5, 6Fr with 70cm guide wire	$149.00	$153.00	Temporary approval pending review of

catheters

BA170	Poly RadPICC Catheters	Double Lumen open-ended Polyurethane	5, 6Fr with 135cm guide wire	$149.00	$153.00	Temporary approval pending review of

catheters

BA182	PowerPICC	Triple Lumen Power Injector Catheter	6F, 55cm length	$230.00

BA183	PowerPICC	Dual Lumen Power Injector Catheters	5F, 6F, 55cm Length	$225.00

Boston Scientific Australia Pty Ltd

BS088	Vaxcel PASV PICC	Dual lumen catheters	3, 4, 5 & 6Fr	$210.00	Temporary approval pending review of

catheters

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA018	Palindrome	Haemodialysis catheter	14.5Fr. 19, 23, 28, 33, 55cm Insertion 	$485.00	$600.00

Lengths, with 36, 40, 45, 50, 72cm Overall

length, with side slots, symmetric tip

Mayo group

CM021	Arrow double lumen pressure injectable peripherally 	Arrow double lumen pressure injectable PICC (peripherally	5Fr x 50cm, Double Lumen	$225.00

inserted central catheter (PICC) set	 inserted central catheter) set

Prostheses List by Category, Groups and Sponsor	Page 860 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical Specialties  Australia Pty Ltd

MS015	Injection/Infusion Ports Sterile	Plastic/titanium, dual lumen	10, 10.5, 12F	$786.00

MS016	Injection/Infusion Ports Sterile	Plastic/titanium, paediatric	5, 6, 7,8, 9.6F	$771.00

William A Cook Australia Pty Ltd

WC112	Cook Central Venous Catheterisation Kit	Double or triple lumen peripherally inserted catheter set, 	3 - 8 Fr 40 - 80cm	$204.00

which may include catheter, standard or micropuncture

introducer set

WC114	Cook Central Venous Catheterisation Kit	Double lumen peripherally inserted catheter set, includes 	Fr 6, 7 and Length 58 and 60cm	$148.00

catheter, needle, J-wire, MPIS wire and introducer

WC203	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central Venous Catheter 	5Fr - 60cm	$148.00

Set, Dual Lumen Polyurethane with Peel-Away Sheath

Introducer and Wire Guide

WC205	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The Wire Peripherally Inserted Central 	5Fr - 60cm	$159.00

Venous Catheter Set, Dual Lumen Polyurethane with

Micropuncture Peel-Away Sheath Introducer and Wire

Guide

A

William A Cook Australia Pty Ltd

WC230	Cook Spectrum CVC Catheter 3 Lumen with antibiotic 	Triple lumen CVC line with antibiotic impregnation	5Fr, 7Fr, 9Fr	$120.00

impregnation

WC231	Cook Spectrum 5 Lumen CVC Catheter with antibiotic 	5 lumen CVC with antibiotic impregnation	10Fr	$180.00

impregnation

a, i

William A Cook Australia Pty Ltd

WC222	Cook Spectrum Silicone Long Term Catheter Set	Dual lumen catheter CVC impregnated with antibiotic with 	7Fr	$208.00	Temporary approval pending review of

or without clamp	catheters

WC225	Cook Spectrum PICC Set / Line	Dual lumen PICC catheter with antibiotic impregnation	6fr and 60cm	$220.00	Temporary approval pending review of

catheters

a, i, cu

William A Cook Australia Pty Ltd

WC223	Cook Spectrum Silicone Long Term Catheter Set	Triple lumen catheter CVC impregnated with antibiotic with	8Fr	$253.00	Temporary approval pending review of

or without clamp	catheters

Prostheses List by Category, Groups and Sponsor	Page 861 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

a, m

William A Cook Australia Pty Ltd

WC229	Peripherally Inserted C/V Catheter with Anibiotic 	Micropuncture double lumen PICC with ABRM	6/7Fr	$244.00

impregnation

cu

Bard Australia Pty Ltd

BA030	Impra PTFE Vascular Grafts	Venaflo ePTFE graft with preformed cuff and flex support	4mm - 8mm diameter, 10cm - 50cm length	$1,532.00	$1,578.00

BA040	VitaCuff, Hickman Catheter 	Dialysis/Apheresis catheter, dual lumen, silicone	36-45cm overall length	$349.00	$359.00

BA051	Hickman Catheters Dual	Without VitaCuff, silicone  	7 -  9 French Catheter	$350.00	$361.00

BA052	Hickman Catheters Triple	Without VitaCuff, silicone  	13.5 French Catheter	$415.00	$427.00

BA054	Vitacuff, Hickman Dual Lumen Catheters	Silicone, with VitaCuff  	7 -  9 French Catheter	$415.00	$427.00

BA055	Vitacuff, Hickman Triple Catheters	Silicone, with VitaCuff  	13.5 French Catheter	$506.00	$521.00

BA126	Groshong Catheter	Single Lumen, Sizes 5fr-9.5fr Groshong Valved-Closed 	Dual Lumen, sizes 5fr-9.5fr	$376.00	$387.00

ended catheter

BA140	HemoGlide Long Term Haemodialysis Catheter	Kit contents: 14.5fr catheter, 18g guidewire introducer 	15, 19, 23 & 27cm straight kit; 19 & 23cm 	$357.00	$368.00

needle, 0.038" 70cm J-wire guidewire, 15fr PTFE 	Pre-curved kit; 19, 24 & 28cm  and 31cm

introducer sheath, 8" tunnelling device, 10-12fr dualator 	Pre-curved jugular kit.

vessel dilator, 2 adhesive dressings, 2 injections caps,

silicone attachable suture wing, hep

BA159	HemoSplit Long Term Haemodialysis catheter	HemoSplit is a carbothane long term dual lumen catheter 	Standard Kit (straight15cm to42cm and pre-	$485.00	$500.00

used to provide vascular access for haemodialysis. It 	curved 19cm to31cm), Microintroducer Kits

comprises of a double D lumen configuration catheter each 	(straight 19cm to 42cm & pre-curved 19cm

lumen having an ID of 2.3mm) with a fixed split tip (to 	to 31cm)

7.5cmm) which enables blood flo

BA175	HemoGlide Long Term Haemodialysis Catheter	14.5Fr Double D stepped tip cuffed catheter	31cm PC2 Jugular Kit	$327.00	$337.00

Baxter Healthcare Pty Ltd

BX257	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter	Mahurkar 13.5Fr Q-Plus Straight Extension Double Lumen	13.5Fr - 13.5cm, 16cm, 19cm & 24cm 	$127.00	Temporary approval pending review of

Catheter Kit	lengths available	catheters

Prostheses List by Category, Groups and Sponsor	Page 862 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Boston Scientific Australia Pty Ltd

BS065	Vaxcel Implantable Vascular Access System	Polyurethane Catheter Material with dual lumens and a 	16 French catheter tapering to a 14 French, 	$330.00

staggered distal tip; polyester cuff which provides catheter 	lengths 19, 23, 28cm

security and tissue growth; clear extension tubes with clamps

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA007	Mahurkar Subclavian Catheter Kit	Chronic haemodialysis, long term vascular access for 	36, 40cm	$184.00

haemodialysis and apheresis. Constructed of radiopaque

silicone rubber.  Kit contains: Catheter, 18ga Introducer

Needle, J/Straight 0.038" Guidewire, 10cc Syringe,

Tunnelling Stylet, Pull-Apart Sheath/Dilator, (4) Gauze

Sponges, (2) Wound Dressings, (2) Injection Sealing Caps.

KA009	RAAF Dual Lumen Catheter	Central Venous Catheter constructed of radiopaque 	4.5mm (Catheter), 95cm (Catheter Overall 	$139.00

silicone rubber	Length); 3.2mm (Catheter), 102cm (Catheter

Overall Length)

KA010	Triple Lumen Right Arterial Catheter	Central Venous Catheter constructed of radiopaque 	3.9mm	$209.00

silicone rubber

KA011	Permcath Dual Lumen Catheter	Chronic Haemodialysis, long term vascular access for 	36cm, 40cm	$330.00

haemodialysis and aphaeresis.  Constructed of radiopaque

silicone rubber. Kit contains: Catheter, 18ga Introducer

Needle, J/Straight 0.038" Guidewire, 10cc Syringe, 10Fr.

Dilator (28cm only), 12Fr. Dilator (except 28cm), #11

Scalpel, Tunnelling Stylet, Oval Pull-Apart Sheath/Dilator,

(4) Gauze Sponges, (2) Wound Dressing, (2) Injection

Sealing Caps.

KA012	Mahurkar Subclavian Catheter Kit	Acute haemodialysus, short term vascular access. Catheters	11.5 Fr, 13.5cm Straight Extension, 11.5 Fr, 	$130.00

constructed of radiopaque polyurethane. Tips are made of 	16cm Straight Extension, 11.5 Fr 19.5cm

polyvinyl chloride and are more radiopaque than the rest of 	Straight Extension, 10 Fr 12cm Curved

the catheter. Kit contains: 10 or 11.5 Fr Catheter, 18ga 	Extension, 10 Fr 15cm Curved Extension,

Introducer Needle, J/Straight Guidewire, 10 Fr Dilator, 12 	11.5 Fr 16cm Curved Extension, 11.5 Fr

Fr Dilator, 2 x Adhesive Wound Dressings.	16cm Curved Extension, 11.5 Fr 19.5cm

Curved Extension

Prostheses List by Category, Groups and Sponsor	Page 863 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

KA013	Permcath Dual Lumen Catheter	Chronic haemodialysis, long term vascular access for 	28, 36, 40cm	$290.00

haemodialysis and aphaeresis.  Constructed of radiopaque

silicone rubber.

KA014	Mahurkar Maxid Catheters	Catheters constructed of radiopaque polyurethans, high 	Size, 38, 43, 48, 53cm	$305.00

kink resistant.  The arterial lumen is shorter than the venous

lumen at the catheter's distal end in order to reduce

recirculation during haemodialysis

KA019	Mahurkar 12Fr Triple Lumen Catheter	Mahurkar 12Fr Triple Lumen Catheter Curved Extension 	12Fr - 13cm, 16cm, 19cm & 24cm lengths 	$230.00	Temporary approval pending review of

Kit	available	catheters

KA020	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter	Mahurkar 13.5Fr Q-Plus Curved Extension Double Lumen	13.5Fr - 13.5cm, 16cm, 19cm & 24cm 	$127.00	Temporary approval pending review of

Catheter Kit	lengths available	catheters

Tekmed Pty Ltd

TK005	Medcomp Long Term Catheter sets for Haemodialysis	ASH, TESIO-BioFlex with cuff	10, 14 French   24,28,32 & 36cm lengths	$450.00

TK006	Medcomp Long Term Catheter sets for Haemodialysis	HemoFlow HFS-Carbothane with cuff	14.5 French   24,28,32 & 36cm lengths	$295.00

Prostheses List by Category, Groups and Sponsor	Page 864 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

i

Mayo group

CM015	ARROWg+ard Blue Haemodialysis Catheters	Haemodialysis Catheters (of various lengths, sizes and 	CS-22122 - 12Fr 16cm, Dual Lumen	$195.00

lumen confiurations) with antimicrobial impregnation 	CS-22123 – 12Fr 16cm, Triple Lumen

(chlorhexidine and silver sulphadiazine) on the external 	CS-25122 – 12Fr x 20cm, Dual Lumen

surface of the polyurethane catheter material.	CS-22142CF – 14Fr x 15cm, Dual Lumen,

Curved, Firm

CS-22142F – 14Fr x 15cm, Dual Lumen

Firm

CS-25122 - - 12Fr x 20cm, Double Lumen

CS-25123 – 12Fr x 20cm, Triple Lumen

CS- 25142CF – 14Fr x 20cm, Double

Lumen, Curve, Firm

CS-25142F – 14Fr x 20cm, Double Lumen,

Firm

CS-26142F – 14Fr x 25cm, Double Lumen,

Firm CU-22122- 12Fr x 16cm, Double

Lumen, Curved        CU-23122 - 12Fr x

13cm, Double Lumen, Curved         CU-

25122 - 12Fr x 20cm, Double Lumen,

Curved

CM017	ARROWg+ard Four & Five Lumen Central Venous 	A polyurethane central catheter with Blue FlexTip (of 	CS-22854E - 8.5 Fr x 16cm, Quad Lumen	$170.00

Catheters	various lengths, sizes and lumen configurations) with 	CS-25854E - 8.5Fr x 20cm, Quad Lumen

antimicrobial impregnation (chlorhexidine and silver 	CS-22855 - 8.5 x 16cm, Five Lumen

sulphadiazine) on the external surface of the polyurethane 	CS-25855 - 8.5Fr x 20cm, Five Lumen

catheter material

Prostheses List by Category, Groups and Sponsor	Page 865 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CM018	ARROWg+ard Blue Double & Triple Lumen Central 	A polyurethane central venous catheter with Blue FlexTip 	CS-24402 - 4Fr x13cm, Dual Lumen	$110.00

Venous Catheters	(of various lengths, sizes and lumen configurations) with 	CS-22502 - 5FR x 5cm, Dual Lumen

antimicrobial impregnation (chlorhexidine and silver 	CS-25402 - 4Fr x 8cm, Dual Lumen

sulphadiazine) on the external surface of the polyurethane 	CS-25502 - 5Fr x 12cm, Dual Lumen

catheter material	CS-22702E - 7Fr x 16cm, Double Lumen

CS-26702 - 7Fr x 20cm, Double Lumen

CS-27702E - 7Fr x 20cm, Double Lumen

CS-25553 - 5.5Fr x 8cm, Triple Lumen

CS-22703E - 7Fr x 16cm, Triple Lumen CS-

26553 -5.5Fr x 13cm, Triple Lumen

CS-24703E - 7Fr x 30cm, Triple Lumen

CS-25703E - 7Fr x 20cm, Triple Lumen

CM019	ARROWg+ard Blue Plus QUAD Lumen Central Venous	Central Venous Catheters (of Various lengths, sizes and 	CS-42854E - 8.5Fr x 16cm, Quad Lumen	$170.00

Catheters	lumen configurations with antimicrobial impregnation on:	CS-45854E - 8.5Fr x 20cm, Quad Lumen

1. The external indwelling surface of catheter material

(chorhexidine and silver sulphadiazine)

2. The entire internal fluid pathway including catheter,

extension-lines and hubs (chlorhexidine acetate)

CM020	ARROWg+ard Blue Plus Double & Triple Lumen 	Double & Triple  Lumen Central Venous Catheters (of 	CS-45802E - 8 Fr x 20cm, Dual Lumen	$120.00

Central Venous Catheters	various lengths sizes and lumen configurations) with 	CS-46702E - 7Fr x 20cm, Dual Lumen

antimicrobial impregnation on:	CS-47702E - 7Fr x 20cm, Dual Lumen

1. The external indwelling surface of catheter material 	CS-42703E - 7Fr x 16cm, Triple Lumen

(chlorhexidine and silver sulphadiazine)	CS-45703E - 7Fr x 20cm, Triple Lumen

2. The entire internal fluid pathway including catheter,

extension-lines and hubs (chlorhexidine acetate)

Prostheses List by Category, Groups and Sponsor	Page 866 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Group 9c - Infuser Ports - single chamber

B Braun Australia Pty Ltd

BB170	Celsite Access Port for pain relief	Composition - polysulphone.  Kit includes tunnelling rod, 	Diameter of septum:11.7mm.  Height: 	$495.00

filter, connectors, needles, syringe, tuohy needle	11.5mm.  Dimension: 25.8 x 37.8mm

Bard Australia Pty Ltd

BA056	Subcutaneous Ports	Hickman open-ended catheter, single lumen 	8 - 9.6 French Catheter	$500.00	$715.00

BA057	Groshong Subcutaneous Ports	Single or dual lumen catheter	8 - 9.6 French Catheter	$521.00	$727.00

BA060	Hickman Subcutaneous Ports	Low-Profile	6 - 6.6 French Catheter	$653.00	$673.00

BA177	SlimPort Ultra Low Profile Implanted Port	Ultra SlimPort Low Profile Plastic/Titanium port with 	Port: 16.9 x 22.7mm (W) x 9.2mm (H); 2.9g 	$541.00	$615.00

attachable Chronoflex® single lumen catheter	Wt 6 Fr Catheter

BA181	PowerPort	Sterile Titanium or MRI, subcutaneous implanted port with 	One size, OF Catheter	$630.00

attachable radiopaque open ended ChronoFlex

polyurethane catheter, intermediate kit

BMDi Tuta Healthcare Pty Ltd

TT001	Paragon Ambulatory Drug Infusion System	The top of the Paragon infuser is made of acetyl with 	Infuser - 100mL Administration Sets - 	$988.00

stainless steel parts; the bottom is made of clear 	0.50mL, 1mL, 2mL, 4mL, 10mL, 50mL,

polycarbonate. Diam: 10cm Height: 5.8cm.  Administration 	100mL, or 200mL/hr

Sets - made from PVC and acrylic components.

TT003	Sidekick Ambulatory Disposable Delivery System	Spring infusor made from high impact plastics.  	Infuser - 50mL or 100mL, Administration 	$467.00

Administration Sets - made from PVC and acrylic 	Sets - 50mL, 100mL or 200mL/hr

components.

Denward Dell Pty Ltd TA Surimex

DW003	Jet Port Plus Set - Vascular Access Port	Implantable injection / infusion port system:  port chamber 	Port:  Diameter: 28.0mm, Height: 12.3mm; 	$375.00

with silicone membrane; connectable polyurethane catheter;	Catheter:  6.6 French, Length: 750mm

and introducer kit.

DW004	Jet Port Plus Low Profile Peripheral Set - Vascular 	Implantable injection / infusion port system:  low profile port	Port:  Length: 24.0mm, Width: 20.5mm, 	$420.00

Access Port	 chamber with silicone membrane; connectable 	Height: 10.3mm  Catheter: 6.6 French,

polyurethane catheter; and introducer kit	Length: 750mm

Prostheses List by Category, Groups and Sponsor	Page 867 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DW006	T-Port Contrast set - Vascular access port.	Injection infusion port system: titanium port chamber with 	6163653077:  Port Base 27mm x 13mm, 	$580.00

silicone membrane: connectable polyurethane catheter; 	Catheter Diameter 1.3 x 2.2mm, Catheter

introducer kit.	Length 75cm. 6163652087: Port Base 27mm

x 13mm, Catheter Diameter 1.6 x 2.6mm,

Catheter Length 75cm. 6163663077: Port

Base 23mm x 10mm, Catheter Diameter 1.3 x

2.2mm, Catheter Length 75cm.6163662087:

Port Base 23mm x 10mm, Catheter Diameter

1.6 x 2.6mm, Catheter Length 75cm.

William A Cook Australia Pty Ltd

WC093	Cook Implantable Injection/Infusion Ports	Petite or Standard, single or multiple chamber Polysulfone 	3 - 12 Fr pre-attached or detached catheter 	$500.00

Port which may include micropuncture or standard 	or valve system

introducer set

WC094	Cook Implantable Injection/Infusion Ports	Mini or Petite or Standard, single or multiple chamber 	3 - 12 Fr pre-attached or detached catheter 	$534.00

titanium Port which may include micropuncture or standard 	or valve system

introducer set

WC115	Cook Implantable Injection/Infusion Port	Mini, single or multiple chamber titanium Port which may 	3 - 12 Fr pre-attached or detached  catheter 	$652.00

include micropuncture introducer set	or valve system

Group 9d - Infuser Ports - multiple chambers

Bard Australia Pty Ltd

BA059	Dual Lumen Subcutaneous Ports	Silicone, Polyurethane or ChronoFlex Open-ended Catheter	7 - 10 French Catheter	$805.00	$829.00

Denward Dell Pty Ltd TA Surimex

DW005	Dual Port Set - Vascular Access Port	Implantable injection / infusion port system:  dual port 	Port:  Length: 53.0mm, Width:  20.0mm, 	$580.00

chamber with silicone membranes; connectable double 	Height:  13.5mm (chamber 1), 15.5mm

lumen polyurethane catheter; and introducer kit.	(chamber 2); Catheter:  Length:  500mm,

internal diameter double D, external diameter

3mm

Prostheses List by Category, Groups and Sponsor	Page 868 of 869

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

William A Cook Australia Pty Ltd

WC164	Cook Implantable Injection/Infusion Ports	Dual or Multiple Chamber Titanium Port which may include	3 - 12 Fr pre-attached or detached catheter 	$762.00

micropuncture or standard introducer set	or valve system

Internal embolization, intravascular

Device Technologies Australia Pty Ltd

DE275	DC Bead	Drug delivery embolisation system	100-300, 300-500, 500-700, 700-900 	$1,650.00	$1,950.00	Product only to be used for embolic

(microns)	procedures.

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG030	Haemostatic Ligating Clips	Titanium Ligating Clips	Small - Large (6 Clips per cartridge)	$8.00

MG031	Haemostatic Ligating Clips	Titanium Ligating Clips	Small, medium (24 clips per pouch)	$32.00

Neurointerventional Coils

ev3 Australia Pty Ltd

EE023	Axium Detachable Coil System	Platinum alloy coils attached to a composite implant 	Diameter:  1.5 - 25mm; Length:  1 - 50cm	$1,950.00

delivery pusher with a radiopaque positioning marker.  The

proximal end of the pusher is loaded into the Actuator

which detaches the coil.

Grand Total:	9349 Records

Prostheses List by Category, Groups and Sponsor	Page 869 of 869