New Products for Prostheses List	August 2009

Billing Code	Product Name	Further Description	Size

Abbott Australasia Pty Ltd

Vascular

AY033	Proglide	Stuture Mediated Closure Device	5 - 8 French

AY034	Prostar	Stuture Mediated Closure Device - Closure of Large holes	Up to 24 French

Advanced Biomedical Pty Ltd

Cardio-thoracic

AB070	ATS 3f Aortic Bioprosthesis (EQUINE)	Model 1000 - EQUINE Pericardium Bioprostheseis (non stented)	19 - 29 mm

Advanced Surgical Technologies

Orthopaedic

AD342	Charlotte Carolina Jones Fracture System	Low profile, solid-core, surgical grade stainless steel screw, partially threatded with 	4.5mm, 5.5mm, 6.5mm, 40mm-70mm overall screw lengths

thread length varying anthropometrically relative to overall screw length, utilising

specialised instruments for IM placement in the 5th metatarsal

AllVascular Pty Ltd

Vascular

VA001	Venous Valve Ring	Dacron/silicone variable diameter ring	52mmx15mmx0.09 mm

American Medical Systems

Urogenital

AM049	Mini ArcTM Single-Incision Sling System	The MiniArcTM Single Incision Sling System is intended for the placement of a 	8.5cm

suburethral sling for the treatment of female stress urinary incontinence (SUI) resulting

from urethral hypermobility and/or intrinsic sphincter deficiency.

The MiniArc sling kit is comprised of an 8.5 cm monofilament macroporous Type I

polupropylene mesh with a small integrated self-fixating tips that are made of

polypropylene, and a curved needle that inserts into the self-fixating tip for advancement

and placement of the sling.

Anatomics Pty Ltd

Plastic and Reconstructive

AT068	E-POR Biomaterial/ Panel - Porous Polyethlene Titanium Mesh Composite	Panel - Porous Polyethylene Titanium Mesh Composite	0.5mm - 0.8mm thick, 38mm x 50mm

AT069	E-POR Biomaterial/ Panel - Porous Polyethlene Titanium Mesh Composite	Panel - Porous Polyethylene Titanium Mesh Composite	0.5mm-0.8mm thick, 76mm x 50mm

New Products for Prostheses List Report	Page 1 of 39

Billing Code	Product Name	Further Description	Size

AT070	E-POR Biomaterial/ Panel - Porous Polyethlene Titanium Mesh Composite	Panel - Porous Polyethlene Titanium Mesh Composite	>0.8mm thick, 38mm x 50mm

AT071	E-POR Biomaterial/ Panel - Porous Polyethylene Titanium Mesh Composite	Panel - Porous Polyethylene Titanium Mesh Composite	>0.8mm thick, 76mm x 50mm

Arthrocare Australasia Pty Ltd

Neurosurgical

AF007	Parallax Vertebroplasty Bone Cement	Sterile Sealed Percutaneous Vertebroplasty Bone Cement	Standard

AF028	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLGA/TMC Copolymer Screws	10-20mm

AF029	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC Copolymer	19-60mm

AF030	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC Copolymer	62.5-110mm

Orthopaedic

AF002	AutoCuff System - Suture Cartridge	SmartStitch Magnum Wire - Ultra high tensile strength	.

AF003	AutoCuff System - Suture Cartridge	SmartStitch Suture Cartridge	Number 2 braided polyester

AF004	AutoCuff System	Magnum Knotless Implant - w/ inserter handle	One Size Only

AF005	Magnum Arthroscopic Knotless Anchor Implant	Arthroscopically implanted stainless steel suture anchor for rotator cuff or labrum repair	1 - 2.8mm x 8.0mm x 5.0mm;  2 - 2.8mm x 13mm x 7.2mm

AF006	Atlantech graft fixation screw - titanium	Titanium ACL Screw	7 x 20mm, 7 x 25mm, 7 x 30mm,  8 x 20mm, 8 x 25mm, 8 x 30mm, 9 x 20mm, 9 x

30mm

AF008	ParaFix Anchor	Tendon to bone anchor	ParaFix Anchors are available in: 3mm,5mm and 6.5mm

AF009	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid Trimethylene Carbonate 	1.5-2.5 mesh plates, 14 x 14 holes; 1.5mm baby mesh plate 14 x 14 holes

Copolymer

AF010	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid Trimethylene Carbonate 	1.5-2.5 mesh plate, 7 x 7 holes; 1.5mm baby mesh plate 7 x 7 holes

Copolymer

AF011	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid Trimethylene Carbonate 	1.5mm baby plates:- 20 hole, c-plate & x-plate 7 hole, 2 hole

Copolymer

AF012	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid Trimethylene Carbonate 	1.5mm plates:- 20 holes, c-plate & x-plate 7 hole, L-plate 7 hole L & R. burrhole

Copolymer

AF013	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic Acid Trimethylene Carbonate 	1.5-2.5mm plates:- 2-10 hole plates and extended, c-plate & x-plate 7 hole, H-plate 8

Copolymer	hole, orthognathic hole and L-plate L & R 7 hole

AF014	CPS Screws	Polylactic acid trimethylene carbonate copolymer	1.5-3.1mm screw ring 5 pcs

AF015	CPS Screws	Polylactic acid trimethylene carbonate copolymer	Hexalon ACL screw 7-10 x 20-30mm

AF016	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 6 & 8 hole

AF017	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 2 & 2.5 systems 4,6,8, 10 hole

AF018	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Pin 1.5 & 2 mm dia x 20-50 mm long

AF021	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 40mm, 2.5 x 30mm, 4.5 x 90mm

AF025	CPS Bioabsorbable Fixation System	Trinion meniscus screw: PLGA/TMC copolymer	10 & 12mm long

AF031	CPS Screw Hexalon Biodegradable ACL/PCL Reconstruction	Biodegradable ACL/PCL Recon Screw PLLA/PGA/TMC	6 x 20, 6 x 25, 6 x 30, 7 x 20, 7 x 25, 7 x 30, 8 x 20, 8 x 25, 8 x 30, 9 x 20, 9 x 25, 9 x

30, 10 x 30

New Products for Prostheses List Report	Page 2 of 39

Billing Code	Product Name	Further Description	Size

Plastic and Reconstructive

AF019	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 6-23mm, 3.1 x 6-8mm

AF020	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 3.1 x 6 - 30mm and 2.5 x 30mm

AF022	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 4.5 x 20-55mm, 3.1 x 40mm

AF023	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2 x 9-19mm, 2.5 x 10-23mm and 2.8 x 10 - 23mm

AF024	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 1.5 - 2.5mm dia x 5-8mm long

AF026	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & tacks	a) 30 x 40mm membrane kit; b) 6 tack kit and applicator

AF027	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & tacks	6 tack kit

Atrium Australia - Pacific Rim Pty Limited

Cardio-thoracic

AC030	Cinatra Cobalt Chromium Coronary Stent System	The Cinatra Cobalt Chromium Coronary Stent System consists of a balloon expandable 	Diameter range: 2.5mm - 3.5mm.  Length range: 8mm - 25mm

Cobalt Chromium stent premounted on a rapid exchange system

Austofix

Neurosurgical

AX057	Capless LI  Pedicle screw system - X Link cross connector - Variable	Titanium, lowprofile transverse dual articulation crossconnector	Low profile, Multiple sizes, 37-80mm

AX058	Capless LI  Pedicle screw system - X Link cross connector - Fixed	Titanium, lowprofile transverse crossconnector	low profile, multiple sizes, 25-35mm

AX059	Capless Li Pedicle screw system - rod	Titanium rod. Straight and pre- bent	Straight and pre- bent, multiple sizes, 40-300mm

AX060	Spider Cervical Plating System - Spider Screw	Titanium, Self Tapping and Self Drilling	4.0 - 4.25mm, lengths 12-16mm

AX061	Spider Cervical Plating System - Spider Plate	Titanium, Anterior Cervical Plate System -	22-54mm

AX062	Spider Cervical Plating System - Spider Plate	Titanium, anterior cervical plate system	56-77mm

Orthopaedic

AX044	Hyperion Uncemented Stem	Titanium, gritblast, HA coated, collared, collarless and high offset	Sizes 9 to 20

AX045	Hyperion Moonstone Bipolar Cup	Stainless Steel Shell, UHMWPE liner with locking ring	Sizes 39 - 59

AX046	Hyperion Emergence Cemented Cup	Acetabular Cup, UHMWPE	Sizes 42 - 54

AX047	Hyperion Cobalt Chrome Femoral Head	Cobalt Chrome, 12/14 Taper	Sizes 22, 28 and 32 mm

AX048	Hyperion Captiv Uncemented Cup	Titanium, grit blast	Sizes 44 to 69

AX049	Hyperion Captiv PE Liner	UHMWPE, Hooded and Unhooded	Sizes 44 to 66 mm

AX050	Hyperion Captiv Bone Screw	Titanium, cancellous self tapping bone screw	6mm, 20 to 45 mm lengths

AX051	Tectona Hip Plate - Cortical Screw	Cortical Screw, self tapping	4.5mm, lengths 28-46mm

AX052	Tectona Hip Plate - Compression Screw	Comprssion screw, sterile packed	Length 36mm. For compression with Tectona Lag Screw

AX053	Tectona Hip Plate - Locking Screw	Locking screw, self tapping	5.0mm, lengths 28-46mm

AX054	Tectona Hip Plate - Standard Lag Screw	Hip Lag Screw, sterile packed	12.5mm, 14.5mm

AX055	Tectona Hip Plate - Lag Screw HA coated	Hip Lag Screw HA coated, sterile packed	12.5mm - lengths 50-145mm

New Products for Prostheses List Report	Page 3 of 39

Billing Code	Product Name	Further Description	Size

AX056	Tectona Hip Plate	Hip plate, locking with removable targeting jig, sterile packed	130, 135 and 140 degree, 2 to 8 hole

Austspine Pty Ltd

Neurosurgical

AJ028	Aleutian AN PLIF	An insert-and-rotate posterior lumbar interbody spacer designed to stabilise and maintain	22mm and 28mm long, 8.5mm wide in a range of heights from 6mm to 17mm

the intervertebral space

AJ029	Aleutian ALIF	An anterior lumbar interbody spacer designed to stabilise and maintain the intervertebral 	Footprints:  24mm x 30mm, 28mm x 36mm Heights: 9mm to 21mm

space

AJ030	Aleutian TLIF	A tranforaminal posterior lumbar interbody spacer designed to stabilise and maintain the 	27mm Long, 10mm wide in a range of heights from 7mm to 17mm

intervertabral space

AJ031	Cayman Thoracolumbar Plate System / Bone Screw	Self tapping screw that lags plate to bone and forms an autogenic lock with plate.  	Length: 20mm to 54mm  Diameter:  6mm and 7mm

Available in two diameters and a variety of lengths

AJ032	Cayman Thoracolumbar Plate System / Plate	A thoracolumbar plate system consisting of plates of various lengths and sizes and a 	22mm to 109mm

range of fixation screws

AJ033	Denali cannulated polyaxial screw	Cannulated polyaxial pedicle screw	Diameter:  5.5mm, 6.5mm and 7.5mm  Length:  35 to 55mm

AJ035	Capsian OCT Spinal  System -  Mini Mesa Polyaxial Screw	cervico-thoracic posterior rigid fixation system	Diameter: 3.5mm and 4.0mm screws

Length: 10mm - 20mm (2mm increments)

25mm - 50mm (5mm increments)

AJ036	Caspian OCT Spinal System - Rod	cervico-thoracic posterior rigid fixation system - Rod	Diameter: 3.5mm

Length: 1.80mm - 240mm

AJ037	Caspian OCT Spinal System - Hook	cervico-thoracic posterior rigid fixation system	3.5mm Posterior Cervical hook

AJ038	Caspian OCT Spinal System - Set Screw	cervico-thoracic posterior rigid fixation system	one size only

AJ039	Pyrenees Cervical Plate	1 and 2 level cervical plate	18mm to 54mm

AJ040	Pyrenees Cervical Plate	3, 4 and 5 level cervical plate	57mm to 110mm

Orthopaedic

AJ034	Jectos 20cc	Injectible synthetic bone graft substitute	20cc

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

General/Miscellaneous

AS164	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/Bidimensional rigid, Three dimensional	13 x 09 cms, 15 x 10 cms

AS165	Parietex Multifilament Polyester Mesh Anatomical	Parietex-Multifilament Polyester Standard Mesh/Bidimensional Rigid, Three dimensional	15 x 15 cms

AS166	Parietex Multifilament PolyesterMesh	Parietex-Multifilament Polyester Preshaped Mesh Three-dimensional/Ease Grip, with Slit	12 x 08 cms

AS167	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh Three-dimensional/Ease Grip, with Slit	13 x 09 cms, 14 x 09 cms

AS168	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Folding Mesh/Bidimensional with integrated folding 	14x10cms

system with slit

AS169	Parietex Multifilament Polyester Mesh Anatomical	Parietex-Multifilament Polyester Anatomical Mesh/Bidimensional/Three dimensional with	14x10cms

integreated folding system.

AS170	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/Bi-dimensional, Bi-dimensional Rigid, 	20 x 20cm

Three dimensional

New Products for Prostheses List Report	Page 4 of 39

Billing Code	Product Name	Further Description	Size

AS171	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/Bi-dimensional, Bi-dimensional Rigid, 	30 x 30cm

Three dimensional

AS172	Mesh Polyproplene; Monofilament Polyproplylene; SURGIPRO* Non Absorbable 	Multifilament Polypropylene; Monofilament Polypropylene; SURGIPRO, Non-	15.3cm x 15.3cm Surgipro* mesh (6 x 6 inch); SPMM46: 10.2cm x 15.3cm (4 x 6

Monofilament Polypropylene Mesh	Asborbable Polypropylene Monofilament Mesh.	inch).

AS173	Mesh Polyproplene; Monofilament Polyproplylene; SURGIPRO* Non Absorbable 	Multifilament Polypropylene; Monofilament Polypropylene; SURGIPRO, Non-	15.3cm x 15.3cm Surgipro* mesh (6 x 6 inch)

Monofilament Polypropylene Mesh	Asborbable Polypropylene Monofilament Mesh.

AS174	Parietene-Monofiliment Polypropylene Mesh	Parietene-Monofiliment Polypropylene standard mesh/light mesh	6 x 11cm, 15 x 10, 15 x 15cm

AS175	Parietene-Monofiliment Polypropylene Mesh	Parietene-Monofiliment Polypropylene standard mesh/light mesh	15 x 10cm

AS176	Parietene-Monofilament Polypropylene Mesh	Parietene-Monofilament Polypropylene standard mesh/light mesh	15 x 15cm

B Braun Australia Pty Ltd

Orthopaedic

BB319	Emotion Total Knee System Femoral Stem Extension	Revision nut for Femur Extension Stem	One size only

BB320	Emotion Total Knee System Tibial and Femoral Augments	Medial/Lateral Tibial, Distal Femoral and Postero-Distal Augments	4mm to 12mm

Bard Australia Pty Ltd

General/Miscellaneous

BA186	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated with a biopolymer: a 	3 x 6 inch

bioresorbable coating of modified sodium hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

BA187	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated with a biopolymer: a 	4 x 8 inch

bioresorbable coating of modified sodium hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

BA188	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated with a biopolymer: a 	6 x 8 inch

bioresorbable coating of modified sodium hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

BA189	SEPRAMesh IP Bioresorbable Coating/Permanent Mesh	Polypropylene & polyglycolic acid polymer mesh coated with a biopolymer: a 	8 x 12 inch

bioresorbable coating of modified sodium hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

Vascular

BA185	Lifestent	Laser cut nitinol self expanding stent, used to treat peripheral disease	Diameter:  6-10mm, Length:  20-100mm

BA190	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in delivery system: nylon balloon, 	Stent Length 15mm - 18mm, 0.035 compatible

stent and deployment system

BA191	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in delivery system: nylon balloon, 	Stent Length 19mm - 27mm, 0.035 compatible

stent and deployment system

BA192	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in delivery system: nylon balloon, 	Stent Length 28mm - 37mm, 0.035 compatible

stent and deployment system

BA193	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in delivery system: nylon balloon, 	Stent Length 38mm - 56mm, 0.035 compatible

stent and deployment system

BA194	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in delivery system: nylon balloon, 	Stent Length 15mm - 18mm, 0.018 compatible

stent and deployment system

BA195	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in delivery system: nylon balloon, 	Stent Length 19mm - 27mm, 0.018 compatible

stent and deployment system

New Products for Prostheses List Report	Page 5 of 39

Billing Code	Product Name	Further Description	Size

BA196	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in delivery system: nylon balloon, 	Stent Length  28mm - 37mm, 0.018 compatible

stent and deployment system

BA197	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in delivery system: nylon balloon, 	Stent Length 38mm - 56mm, 0.018 compatible

stent and deployment system

BA198	Lifestent Peripheral Stent	Stent: Nitinol composition with tanilum markers, Items included in the delivery system: 	6-8mm Diameter, length 20-90mm

Stent, deployment system

BA199	Lifestent	Laser cut nitinol self expanding stent, used to treat peripheral disease	Diameter: 6-8mm, Length: 120mm

BA200	Lifestent	Laser cut nitinol self expanding stent, used to treat peripheral disease	Diameter: 6-8mm, Length: 150mm

BA201	lifestent	Laser cut nitinol self expanding stent, used to treat peripheral disease	Diameter: 6-8mm, Length:170mm

Bausch & Lomb (Australia) Pty Ltd

Ophthalmic

BL027	Crystalens HD	Accommodating lens with > 3 Dioptres of accommodation with dual mechanism of 	10.0 to 33.0 Dioptres in .05 Dioptre steps

action: (1) forward axial movement of lens and (2) accommodative arching of optic.

Posterior chamber, polyspheric optics, 3-piece, plate haptic, foldable UV light filtering,

biconvex

Bio Excel Australia Pty Ltd

Cardio-thoracic

BE001	Gazelle Coronary Stent	Stainless Steel	Diam 2.25-4.0mm  Length 8-28mm

Biomet Australia Pty Ltd

Orthopaedic

BI975	Vanguard E-Poly PS bearing	Vitamin E infusion Highly Cross linked Polythylene Posterior Stabilised Tibial Bearing	59 - 91 x (10 - 18mm)

BI976	Vanguard E-Poly CR Tibial bearing	Vitamin E infused Highly Cross linked Polyethylene /cruciate Retaining Tibial bearing.	59 to 91 x (10 -18mm)

BI977	Regenerex Tibial Tray	Tibial Baseplate, modular. Regenerex porous coat, Ti Alloy	59, 63, 67, 71, 75, 79, 83 mm

BI978	Regenerex Tibial Tray	Stem, PressFitt, Ti Alloy	40, 80mm

BI979	Hitch suture anchor	Suture anchor with maxbraid sutures, PEEK	2.4mm

BI980	Echo Hip System	Press Fit Femoral Component, titanium	7 - 17mm

BI981	Echo Hip System Bi Metric Femoral Stem	Echo Bi Metric Cementless Titanium Femoral Component	7 - 17mm

BI982	Mainstream Burch/Schneider Reinforcement Ring	Burch/Schneider Reinforcement Ring Cemented	44/50 Left and Right, 50-56 Left and Right

BI983	Max-Ti Modular Protrusio Cage	Acetabular Support Component, Porous Ti Alloy	52, 56, 60, 64, 68 and 72mm Left and 52, 56, 60, 64, 68 and 72 mm Right

BI984	Max-Ti Modular Protrusio Cage	Acetabular Augment, Porous Ti Alloy	Dome Augment (1 Hole Large, 2 Hole Large, 1 Hole Small), illiac flange Augment (6 mm)

Plastic and Reconstructive

BH001	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	4 - 7 hole

BH002	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	8 - 15 hole

New Products for Prostheses List Report	Page 6 of 39

Billing Code	Product Name	Further Description	Size

BH003	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	16-32 hole

BH004	Lactosorb Resorbable Craniomaxillofacial Fixation System	Lactosorb Plates, 2mm System, All shapes PGA/PLA	>32 hole

BH005	Lorenz 2.4mm Locking Reconstruction System	Plate, Straight, 2.4mm System, Locking. Titanium	4-7 hole

BH006	Lorenz 2.4mm Locking Reconstruction System	Plate, Straight, 2.4mm System, Locking. Titanium	8 - 15 hole

BH007	Lorenz 2.4mm Locking Reconstruction System	Plate, Straight, 2.4mm System, Locking. Titanium	16-32 hole

BH008	W Lorenz Osteosynthesis System	2.3mm Small Fragment System` Plate, all shapes, Titanium	2.3mm Small Fragment System` Plate, all shapes, Titanium

BH009	W Lorenz Osteosynthesis System	2.3mm Small Fragment System, Plate, All shapes  Titanium	8-15 hole

BH010	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System` Plate, all shapes, Titanium	4-7 hole

BH011	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System, Plate, All shapes  Titanium	1.2, 1.7mm Small Fragment System, Plate, All shapes  Titanium

BH012	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System, Plate, All shapes  Titanium	1.2, 1.7mm Small Fragment System, Plate, All shapes  Titanium

BH013	W Lorenz Osteosynthesis System	Small Fragment Titanium System, Titanium	Screw, 1.2mm diameter, 1.4mm diameter

BH014	W Lorenz Osteosynthesis System	Small Fragment Titanium System. Titanium	Screw, 1.7mm diameter

BH015	W Lorenz Osteosynthesis System	Small Fragment Titanium System. Titanium	Screw 2.3mm diameter, 2.5mm diameter

BH016	TMJ System	Screw, Cross Drive, Fossa. Titanium	2.0mm dia x (5 - 13)mm

BH017	TMJ System	Screw, Cross Drive, Fossa. Titanium	2.3mm Dia x (5 - 13)mm

BH018	W Lorenz Osteosynthesis System	Sheet 1.5mm System. Titanium	(203-206)mm x (123-127)mm x (0.2-0.3)mm

BH019	W Lorenz Osteosynthesis System	Sheet 1.5mm System. Titanium	206 x 123 x 0.6mm

BH020	W Lorenz Osteosynthesis System	Bone Screw, Cross Drive or Centre Drive. Titanium	1.5mm dia x (3.5 - 17)mm

BH021	W Lorenz Osteosynthesis System	Bone Screw, Cross Drive or Centre Drive. Titanium	1.8mm dia x (3.5 - 17)mm

BH022	W Lorenz Osteosynthesis System	Panel, Regular or Small Grid. Titanium	(80,85) x (50-53)mm x (0.3 or 0.2mm)

BH023	W Lorenz Osteosynthesis System	Panel, Regular or Small Grid. Titanium	(80,85) x 53mm x 0.6mm

BH024	W Lorenz Osteosynthesis System	Pre-contoured Neuro Mesh, titanium	163 x 115 x 0.3mm

BH025	W.Lorenz Osteosynthesis System	Pre-contoured Neuro Mesh titanium	163 x 115 x 0.6mm

BH026	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular System, Titanium	4 - 7 hole

BH027	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular System, Titanium	8 hole

BH028	Manibular Fracture System	Plates, matrix shape, 2.0 mandibular system. Titanium	4 or 6 hole

BH029	Mandibular Fracture System	Plates, matrix shape, 2.0 mandibular system. Titanium	8 to 16 hole

BH030	W Lorenzo Osteosynthesis	Mesh 1.5mm system, precontoured, titanium	40 x 40 x 0.6mm profile

BH031	W Lorenz Osteosynthesis	Mesh 1.5mm system, precontoured, titanium	40 x 40 x 0.3mm profile

BI985	W Lorenz Osteosynthesis System	Plates Straight, 1.5, 2.0 or 1.0mm System	15 - 32 holes

BI986	Lorenz 2.4mm Locking Reconstruction System	Plates Plate, Angled 2.4mm System Ti	5 x (22 -24) hole

BI987	Lorenz 2.4mm Locking Reconstruction System	Plates Plate, Angled 2.4mm System, Ti	5 x 11 hole

BI988	W Lorenz Osteosynthesis System	Plate Straight 2mm System	4 - 7 hole

BI989	W Lorenz Osteosynthesis System	Plate Straight, 2mm System	8 - 15 hole

BI990	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	4 - 7 hole

New Products for Prostheses List Report	Page 7 of 39

Billing Code	Product Name	Further Description	Size

BI991	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	8 - 15 hole

BI992	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	16 - 32 holes-

BI993	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	32+ holes-

BI994	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA	1.5mm dia

BI995	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA	2.0mm dia

BI996	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb,single screw (multiple screws per pack) PGA/PLA	2.5mm dia

BI997	Lactosorb Resorbable Craniomaxillofacial Fixation System	Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA	2.8mm dia

BI998	Lactosorb Resorbable Craniomaxillofacial Fixation System	Panel or Sheet, Solid or Holed, PGA/PLA	0.25mm x 100x100mm

BI999	Lactosorb Resorbable Craniomaxillofacial Fixation System	Panel or Sheet, Solid or Holed, PGA/PLA	(0.5 or 0.8)mm 100x100mm

Biotronik Australia Pty Ltd

Cardio-thoracic

BT104	Cylos 990 DR	Dual-chamber pacemaker with Closed Loop Stimulation (CLS)	57* 43* 6mm/28g

BT105	Cylos 990 DR-T	Dual-chamber pacemaker with Closed Loop Stimulation (CLS) and Biotronik Home 	57*43*6mm/28g

Monitoring Technology

BT106	Cylos 990 SR	Single-chamber pacemaker with Closed Loop Stimulation (CLS)	57 x 39 x 6mm / 27g

BT107	PRO-Kinetic Energy	The PRO-Kinetic Energey stent is a tubular, balloon-expandable stent sculpted by laser 	The PRO-Kinetic Energy stent is available in 66 different diameter/length combinations.

from a single tube of L-605 cobalt chromium (CoCr) alloy.  The stent consists of 	It is available in lengths from 8mm to 40mm.  It is premounted on a delivery system

circular segments at each end followed by a transition zone and helicoidally arranged 	which has nominal balloon diameters between 2.0mm and 5.0mm.

struts in the middle.  Each loop of the helix is connected to the next loop by 3

longitudinal struts.  The stent surface is fully coated with a layer of amorphous

hydrogen-rich silicon carbide (aSiC:H).  This material has semiconducting properties

that efficiently prevent the electron transfer from fibrinogen to the metal surface in vitro.

Thereby the conversion from fibrinogen to fibrin and it's depoisition at the stent

surface is reduced.  Additionally, aSiC:H - coated stents exhibit a lower adhesion and

activation of blood platelets and leucocytes.  Finally, the release of potentially allergenic

ions from a silicon carbide coated stent is substantially reduced in comparison to an

uncoated metal stent3.  This coating is used on all Biotronik coronary stents producedso

far and was subject to extensive clinical testing.

Boston Scientific Australia Pty Ltd

Cardio-thoracic

BS144	Altrua 20 DR	Dual chamber pacemaker with rate response	10cc - 15cc

BS145	Altrua 20 SR	Single chamber pacemaker	10cc - 15cc

BS146	Altrua 40 DR	Dual Chamber pacemaker	10cc - 15cc

BS147	Altrua 40 SR	Single Chamber pacemaker	10cc - 15cc

BS148	Altrua 50 DR	Dual chamber pacemaker	10cc - 15cc

BS149	Altrua 50 SR	Single chamber pacemaker	10cc - 15cc

New Products for Prostheses List Report	Page 8 of 39

Billing Code	Product Name	Further Description	Size

BS150	Altrua 50 VDD	VDD Pacemaker	10cc - 15cc

BS151	Altrua 60 DR	Dual Chamber pacemaker	10cc - 15cc

BS152	Altrua 60 SR	Single Chamber pacemaker	10cc - 15cc

General/Miscellaneous

BS141	EndoVive Initial Feeding Tube	Silicone enteral feeding tube	Up to 24 Fr

BS142	EndoVive Replacement Feeding Tube	Silicone enteral feeding tube	Up to 28 Fr

Neurosurgical

BS143	Precision SCS External Patient Recharger System	External Patient Recharging System: Base Station, Charger, Cradle power supply, 	One size only

charger base station.

Urogenital

BS140	Advantage Fit Transvaginal Mid-Urethral Sling System	Polypropylene smooth mesh material	One size only

C. R. Kennedy

General/Miscellaneous

CK004	System: Microline Pentax Reposable "Gemini-L Clip Applier"	Disposable cartidge, containing 18 large surgical grade titanium clips delivered using a 	Large clip - 10mm clip applier

re-usable hand piece applier

Cardinal Health

General/Miscellaneous

CI006	PleurX® Peritoneal Catheter Drainage System	Peritoneal Catheter kit with Drainage system with 10 x 1000 mL or 500mL vacuum 	Catheter 71cm x 15.5FR; 500mL or 1000mL vacuum bottles

bottle set.

CI007	PleurX® Pleural Catheter Drainage System	- Includes integral drainage system components for, and hence should replace CI005 	Catheter 24cm x 15.5 FR; 500 mL or 1000 mL vacuum bottles

Pleural Catheter Mini Kit. The vacuum bottles (10 in a set) were previously omitted from

CI005.

Carl Zeiss Pty Ltd

Ophthalmic

CZ019	TwinVisc Viscoelastic	Twinvisc Viscoelastic Solution - Ophthalin contains sodium Hyaluronate 1%/ Endogel 	Total volume 1.4 ml

contains sodum Hyaluronate 2.2% Preloaded in sterile syringe with a 25G cannula for

injection

CMS Alphatech Pty Ltd

General/Miscellaneous

CL001	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed radioactive sources containing Iodine-125. They are 	Advantage I-125 seeds are  0.8 mm in diameter and 4.5 mm in length

intended to interstitial brachytherapy.                                           Advantage I-125

Pre-load consists of Advantage I-125 seeds pre-loaded as linked or 'stra

New Products for Prostheses List Report	Page 9 of 39

Billing Code	Product Name	Further Description	Size

Cochlear Limited

Ear, Nose & Throat

CO043	Nucleus Hybrid L 24 Implant	A Nucleus Freedom cochlear implant featuring a special 16mm, 22 contact point 	One size

electrode array

CO044	Freedom Hybrid Sound Processor (Initial)	The modular sound processor of the Cochlear Hybrid system provides dual electrical 	One size

and acoustic processing within a single device. Acoustic amplication is delivered through

the acoustic component and electrical stimuation via the Nucleus Hybrid L24 implant.

CO045	Freedom Hybrid Sound Processor (Replacement)	The modular sound processor of the Cochlear Hybrid system provides dual electronic 	One size

and acoustic processing within a single device. Acoustic amplication is delivered through

the acoustic component and electrical stimulation is delivered via the Nucleus Hybrid

L24 implant.

Coloplast Pty Ltd

Urogenital

CT013	Aris Transobturator Sling System	Sling System for female stress urinary incontinence	One Size

CT014	NovaSilk Polypropylene Mesh	knitted monofilament polypropylene mesh	15cm x 15cm - One Size

ConMed Linvatec Australia Pty Ltd

Orthopaedic

LV111	Presto PEEK Suture Anchor	PEEK Optima Suture Anchor, pre-threaded with one or two sutures	2.9mm O.D x 11mm L

Corin Australia Pty Ltd

Orthopaedic

CR157	MiniHip Stem	Short stem, Titanium, Plasma Spray with HA	9 sizes

CR158	Biolox Delta Acetabular Liner	Biolox Delta ceramic acetabular liner	28mm, 32mm, 36mm

CR159	Saturne Cemented Tripolar Cup	Stainless steel cemented acetabular cup with an anatomical anti-disloction profile	Sizes 44 - 60 in 2mm increments

CR160	Saturne reconstruction cup	Dual coated, mobile, cementless reconstruction cup	Sizes: 50 - 66mm

CR161	Saturne Press Fit Dual Mobility Acetabular Cup	A cementless, stippled and peripherally expanded, acetabular cup.  Flattened pole and an 	Sizes: 44 - 64 in 2mm increments

elevated rim to help prevent dislocation.

CR162	Saturne acetabular liner	Polyethylene liner for double mobility cup	Sizes 44/22; 46/22; 48/28; 50/28; 54/28; 56/28; 60/28; 64/28; 66/28

Design for Vision Pty Ltd

Ophthalmic

DV241	Eyetec DCR Tubes	Crawford and Cannaliculus Intubation Sets	N/A

DV242	Molteno Implant	Glaucoma Drainage Device - Single Plate/Single Plate-Dual Chamber/Double Plate	N/A

DV243	D.O.R.C. Silicon Oil	D.O.R.C. Silicon Oil 1000/5000CS	10ml

DV244	D.O.R.C. Eftiar	Eftiar Decaline and Octane 5ml	5ml

New Products for Prostheses List Report	Page 10 of 39

Billing Code	Product Name	Further Description	Size

DV245	Meddev Gold Eyelid Loads	Small Range - Standard and Thin Profile	0.6G to 1.6G in 0.4G steps

Device Technologies Australia Pty Ltd

General/Miscellaneous

DE296	Pull PEG System	Initial placement percutaneous endoscopic gastrostomy kit	20Fr; 60cm

Orthopaedic

DE292	QuickFix Staple System	Compression Staple for Fusion	8mm 10mm

DE293	Prostop	Arthroereisis Subtalar implant	7x12mm 8x12mm 9x14mm 10x14mm 11x16mm 12x16mm

DE295	Compression Staple	Compression staple for fusion	10x10mm 10x15mm 15x10mm 15x15mm 20x20mm

Vascular

DE294	Bead Block	Plyvinyl Alcohol hydrogel microspheres in pre-loaded syringe	2ml- (100 - 300, 300 - 500, 500 - 700, 700 - 900, 900 - 1200 microns

Edwards Lifesciences Pty Ltd

Cardio-thoracic

EL058	Magna Ease	Carpentier - Edwards PERIMOUNT Magna Ease Bioprosthesis, Model 3300TFK	19, 21, 23, 25, 27 and 29mm

EMT Healthcare Pty Ltd

General/Miscellaneous

EM021	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic and open surgical approaches	8 x 13cm

EM022	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic and open surgical approaches	15 x 15cm

EM023	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic and open surgical approaches	2.3 x 10cm

EM024	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic and open surgical approaches	5 x 10cm

EM025	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for laproscopic and open surgical approaches	7 x 15cm, 10 x 15cm

Endotherapeutics Pty Ltd

Urogenital

ET059	TOA/TVA SLING, TRANSVAGINAL TRANS-OBTURATOR APPROACH	SLING FOR THE TREATMENT OF FEMALE STRESS URINARY INCONTINENCE 	ONE SIZE

WITH INTRA AND POST-OPERATIV ADJUSTABILITY

ev3 Australia Pty Ltd

General/Miscellaneous

EE027	ev3 Micro Catheters	For the delivery of therapeutic agents such as embolisation coils and liquid embolics. 	Length: 135 - 170cm; Diameter: 3.0 - 1.3 Fr

The Rebar Micro Catheter is the only one on the market which also delivers liquid

embolics.

New Products for Prostheses List Report	Page 11 of 39

Billing Code	Product Name	Further Description	Size

Neurosurgical

EE026	Solitaire	Solitaire Neurovascular Remodelling Device is the The Solitaire is a self-expanding, fully 	Diameter (mm) x Length (mm) 04 x 15, 04 x 20, 06 x 20, 06 x 30

retrievable device which can be delivered and deployed by a single operator.

EE028	LRS Actuator	LRS Actuator is a sterile, hand held mechanical unit with a thumb slide that detaches the	'Length 5.75", Diameter 1", weight 28 grams

coil. When the slider is retracted while the pusher is loaded, it releases the coil into the

targeted vaculature. Coils cannot be deployed without the use of the actuator

Vascular

EE024	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding Nitinol stent premounted on an OTW delivery 	Diameter 5-8, Length 20-100mm

system.

EE025	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding Nitinol stent premounted on an OTW delivery 	Diameter 5-8mm, Length 20-200mm

system.

Exactech Australia

Orthopaedic

EX001	Novation Ceramic AHS Liner	Novation Ceramic AHS is indicated for use in primary total hip arthroplasty in skeletally 	Group 1 brown 28mm ID, Group 2 Blue 32mm ID, Group 3 gray 36mm, Group 4

mature patients with non-inflmmatory degenerative joint disease.	purple 36mm ID, Group 5 green 36mm ID

EX002	Novation Element HA	Novation Press-Fit Element Stems are intended for press-fix fixation and manufactured 	collarless: standard offset, 12/14, sizes 8-18 Extended offset 12/14, sizes 8-18, collared:

from Titanium 6A1-4V and have rectangular cross-sectional geometry with transverse 	standard offset 12/14, sizes 8-18

proximal grooves and distal parallell grooves.

EX003	L-Series Unipolar Head	L-Series unipolar is a modular endoprosthesis consisting of a truncated spherical head 	unipolar head: 42mm, 43mm, 44mm, 45mm, 46mm, 47mm, 48mm, 49mm, 50mm,

and interchangeable neck sleeves. The device is fully machined from cobalt chrome 	51mm, 52mm, 53mm, 54mm, 55mm     taper sleeve: 12/14-3.5mm, 12/14 +0mm,

conforming to ASTMF 1537-94	12/14 +3.5mm, 12/14 +7mm, 12/14 +10mm

EX004	Novation GXL Liner	The GXL Liner are indicated for use in skeletally mature individuals undergoing primary 	Liner Neutral: Group 1: 28mm ID, Group 2: 28mm IS, 32mm ID, Group 3: 32mm ID,

surgery for total hip replacement	36mm ID; Group 4: 32mm, 36mm, Group 5: 32mm, 36mm, Liner "Lipped": Group 1:

28mm, Group2: 28mm, 32mm, Group 3: 36mm, Group 4: 32mm, 36mm, Group 5:

36mm, Liner "+5 Lateralised" Group 1: 28mm, Group 2: 28mm, 32mm, Group 3:

32mm, 36mm, Group 4: 32mm, 36mm, Group 5: 32mm, 36mm

EX005	Novation Crown Cup Constrained Liner and Ring	Sphere and taper liner diameter geometry for compatability with the Novation Crown Cup	Locking Ring is one size and Constrained Liner: Group 1: 48/50mm, shells, 38mm ID;

Group 2: 53/54mm, shells, 32mm ID; Group 3: 56/58mm shells, 36mm ID; Group 4:

60/62mm shells, 36mm ID; Group 5: 64/66/68mm shells, 36mm ID

EX006	Novation Crown Cup Screws	Titanium cortical bone screws	Full radius tip: 6.5mm x 15mm, 6.5mm x 20mm, 6.5mm x 25mm, 6.5mm x 30mm,

6.5mm x 35mm, 6.5mm x 40mm, 6.5mm x 45mm, 6.5mm x 50mm, 6.5mm x 55mm,

6.5mm x 60mm, 6.5mm x 70mm; Peripheral Rim screw: 4.5mm x 25mm, 4.5mm x

30mm, 4.5mm x 35mm, 4.5mm x 40mm, 4.5mm x 45mm, 4.5mm x 50mm, 4.5mm x

55mm, 4.5mm x 60mm, 4.5mm x 65mm, 4.5mm x 70mm; Pointed tip: MBA 6.5mm x

15mm, MBA 6.5mm x 20mm, MBA 6.5mm x 25mm, MBA 6.5mm x 30mm, MBA

6.5mm x 35mm, MBA 6.5mm x 40mm, MBA 6.5mm x 45mm, MBA 6.5mm x 50mm,

MBA 6.5mm x 55mm, MBA 6.5mm x 60mm

New Products for Prostheses List Report	Page 12 of 39

Billing Code	Product Name	Further Description	Size

EX007	Novation Crown Cup Shell - plasma and HA coated	Novation Crown cup and liners - no-hole and cluster hole design options. Shells 	Shell: No-Hole Shell size 48-68, 2mm increments; Cluster Hole Size 48-68, 2mm

manufactured from titanium (Ti) alloy with plasma coating and an additional 	increments; Multi-Hole Size 48-56, Multi-Hole with Rim Fixation, Size 56-68

hydroxylapitite (HA) coating option. Sphere and taper inner diameter geometry.

EX008	L-Series Bipolar Head	The L-Series Bipolar Head is a modular two piece device consisting of a spherical cobalt	28mm 40mm OD, 28mm 41mm OD, 28mm 42mm OD, 28mm 43mm OD, 28mm

chrome shell and interchangeable polyethylene liner inserts	44mm OD, 28mm 45mm OD, 28mm 46mm OD, 28mm 47mm OD, 28mm 48mm OD,

28mm 49mm OD, 28mm 50mm OD, 28mm 51mm OD, 28mm 52mm OD, 28mm

53mm OD, 28mm 54mm OD, 28mm 55mm OD, 28mm 57mm OD, 28mm 59 mm OD,

28mm 61mm OD, 22mm 40mm OD, 33mm 41mm OD, 22mm 42mm OD, 22mm

43mm OD, 22mm 44mm OD, 22mm 45mm OD, 22mm 46mm OD, 22mm 47mm OD,

22mm 48mm OD, 22mm 49mm OD, 22mm 50mm OD, 22mm 51mm OD, 22mm

52mm OD, 22mm 53mm OD, 22mm 54mm OD, 22mm 55mm OD, 22mm 56mm OD

EX009	Novation Tapered and Splinned Femoral Stem	Novation Press-Fit femoral components are manufactured from titanium alloy.  The 	tapered: Standard Offset, size 9-18, Extended Offset, Size 9-18; HA, Standard Offset,

stem has a circulo-trapezoidal cross-sectional geometry and distal taper.	Size 9-18; HA, Extended Offset, Size 9-18, splinned: Standard Offset, Size 9-18;

Extended Offset, Size 9-18, RDD Standard Offset size 11-18, RDD Extended Offset

size 11-18, HA Standard Offset Size 9-18; HA Extended Offset Size 9-18; HA RDD

Standard Offset size 11-18, HA RDD Extended Offset size 11-18

EX010	L-Series Taper Sleeve for Unipolar Head	The L-series unipolar is a modular endoprosthesis consisting of a truncated spherical 	taper sleeve: 12/14 -3.5mm, 12/14 +0mm, 12/14 +3.5mm, 12/14 +7mm, 12/14 +10mm

head and interchangeable neck sleeves.  The device is fully machined from cobalt

chrome conforming to ASTM F1537-94.

EX011	Novation Crown Cup Shell - plasma coated	Novation Crown Cup and Liners: No-Hole and Cluster Hole design options, shells 	Shell: No-Hole shell size 48-68, 2mm increments; Cluster Hole Size 48-68, 2mm

manufactured from titanium (Ti) alloy with plasma coating, sphere and taper inner 	increments; Multi-Hole Size 48-56, Multi-Hole with Rim Fixation, Size 56-68

diameter geometry.

EX012	Exotech Novation C femoral stem	Femoral stem cemented unpolished	1-8

EX013	Exactech Femoral Stem	Novation Hip System	9-18

EX014	Exactech M series modular Hip System	Modular Titanium Revision Hip - Metaphyseal Segment	25-27mm, S, M, L, XL

EX015	Exactech M series modular Hip System	Femoral cone, titanium, plasma, not HA	21 - 23mm, S, M, L, XL

EX016	Exactech Total Hip System	Modular Titanium Revision Hip - Metaphyseal Segment	29-31mm, S, M, L, XL

EX017	Exactech M series modular Hip System	Modular femoral stem, titanium, polished, non HA	11 - 21mm x 135-165mm

EX018	Exactech M Series Total Hip System	Femoral Cone with calcar 	21-31mm

EX019	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 200mm

EX020	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 250mm

EX021	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 300mm

EX022	Exactech Femoral Head 	Cobalt Chrome Head	-2 to -5mm, +0 to 10mm

EX023	Exactech Femoral Head 	Ceramic/Femoral Head, Biolox Forte	-2 to -5mm, +0 to +10mm

EX024	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm

EX025	Optetrak Total Knee System Tibial Augments	Tibial Augments for CCK femoral component, half and third blocks, titanium, screw 	Size 1 - 6

fixation

EX026	Optetrak Total Knee System Femoral Augments 	Femoral Augments for CCK femoral component, distal and posterior blocks, titanium, 	Size 1-6

screw fixation

New Products for Prostheses List Report	Page 13 of 39

Billing Code	Product Name	Further Description	Size

EX027	Optetrak Total Knee System Femoral and Tibial Stems 	Femoral and Tibial Stems for Optetrak Knee System, titanium, cemented or 	Size 1 - 6

uncemented, femoral stem requires stem extension adapter on every occasion, tibial

stem requires screw fixation

EX028	Optetrak Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, fixed and totally stabilised with peg and reinforced with 	Size 1 - 6

screw/post fixation (Spine stiffening screw)

EX029	Opetrak Total Knee System Femoral Stem Extension Adpater 	Femoral Stem Extension Adapter that provides for set changes in angulation of stem 	One size only

needs to be used on every occasion

EX030	Optetrak Total Knee System Tibial Stem Extension Screw 	Tibial Stem Screw for Tibial stem fixation 	One size only

EX031	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr	Size 1 -  6

EX032	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert, cemented	Size 1-6

EX033	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior stabilised 	Size 1 -  6

EX034	Optetrak Hi Flex Femoral Component 	Femoral Component, Cemented, CoCr, High Flex (Hi Flex), posterior stabilised 	1-6

EX035	Optetrak Total Knee System CCK (Constrained Condylar Knee) Femoral Component 	Femoral Component, cemented, CoCr, totally stabilised	Size 1 - 6

EX036	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert (finned), cemented	Size 1-6

EX037	Optetrak Hi Flex Femoral Component 	Femoral Component, uncemented, CoCr beaded, high flex (Hi Flex), posterior stabilised 	1-6

EX038	Optetrak Total Knee System	Patellar	26-41mm

EX039	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Cruciate retained)	Size 1-6

EX040	Optetrak RBK (Rotating Bearing Knee) Tibial Baseplate 	Tibial Baseplate, titanium with polished insert surface, cemented, for a mobile insert 	1-6

EX041	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Posterior Stabilised)	Size 1-6

EX042	Optetrak Total Knee System, Tibial Insert	Tibial Insert, UHMWPE, Fixed (Hi Flex)	Size 1-6

EX043	Optetrak RBK (Rotating Bearing Knee) Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile, posterior stabilised 	1-6

EX044	Optetrak Uni Condylar Knee System Femoral Component  	Uni Femoral Component, cemented, CoCr	1-6

EX045	Optetrak Uni Condylar Knee System Tibial Component  	Uni Tibial, all poly, Cemented	1-6

Finsbury Orthopaedics Australia Pty Ltd

Orthopaedic

FI052	Saiph Knee System Femoral Component Cemented	CoCr Polished Cemented Femoral Component	1 - 8 Left & Right

FI053	Saiph Knee System Femoral Component Cementless	CoCr Polished Cementless Femoral Component, Porous Titanium and HA	1 - 8 Left & Right

FI054	Saiph Knee System Tibial Component Cemented	CoCr Tibial Component, Cemented	A - F, Standard and Long Stem

FI055	Saiph Knee System Tibial Component Cementless	CoCr Tibial Component, Porous Titanium and HA	A - F, Standard an Long Stem

FI056	Saiph Knee System APS Tibial Insert	Compression Moulded Anterior Posterior Stablilised Tibial Bearing	A - F, Left & Right 10 - 20mm

FI057	Saiph Knee System Patella Component	Inset or Onset Polyethylene Patella Component	Small & Large, 16mm - 28mm

New Products for Prostheses List Report	Page 14 of 39

Billing Code	Product Name	Further Description	Size

Genzyme Australasia Pty Ltd

General/Miscellaneous

GE011	Sepraspray Adhesion Barrier	Sepraspray Adhesion Barrier Kit - 1 Box containing 1 x 1g of Powder Reload and 	1 x 1g of Powder Reload and Applicator

Applicator

GE012	Sepraspray Adhesion Barrier	Sepraspray Adhesion Barrier Reload 1g - 1 Box containing 1 x 1g of powder	1 x 1g of Powder

Global Orthopaedic Technology

Orthopaedic

GO189	APEX Knee Reconstruction System, All-Poly 3 Peg Dome Patella, Size 29mm to 41mm x	All-Poly Dome 3 Peg Patella	29mm x 10mm & 8mm, 32mm x 10mm & 8mm, 35mm x 10mm & 8mm, 38mm x

8mm to 10mm	10mm & 8mm, 41mm x 10mm

GO190	APEX Knee Reconstruction System, Locking Bolt.	Tibial Insert Locking Bolt	One size

GO191	APEX Knee Reconstruction System, Tibial Insert, Standard, Ultra & Congruent	Tibial Insert, Standard, Ultra & Congruent, Size 1-7, 10mm to 20mm.	Size 1, 10mm to 20mm, size 2, 10mm to 20mm, size 3, 10mm to 20mm, size 4, 10mm

to 20mm, size 5, 10mm to 20mm, size 6, 10mm to 20mm, size 7, 10mm to 20mm.

GO192	APEX Knee Reconstruction System, Bone Screw	6.5mm Bone Screw	20mm, 25mm, 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm, 65mm & 70mm.

GO193	APEX Knee Reconstruction System, Tibial Baseplate, Cementless, Porous Coated HA 	Tibial Baseplate, Cementless, Porous Coated HA, With & Without Holes, Size 1 to 6, 	Size 1 Left & Right, size 2 Left & Right, size 3 Left & Right, size 4 Left & Right, size 5

With & Without Holes	Left & Right.	Left & Right, size 6 Left & Right.

GO194	APEX Knee Reconstruction System, Tibial Baseplate, Cemented, Non-Porous	Tibial Baseplate, Cemented, Non-Porous, Size 1 - 7 Left & Right	Size 1 Left & Right, size 2 Left & Right, size 3 Left & Right, size 4 Left & Right, size 5

Left & Right, size 6 Left & Right, size 7 Left & Right.

GO195	Apex Knee Reconstruction System, CR Femoral Component Porous Coated	CR Femoral Component Porous Coated Size 1 to 6 left & Right.	Size 1 Left & Right, size 2 left & Right, size 3 Left & Right, size 4 Left & Right, size 5

left & Right, size 6 Left & Right

GO196	Apex Knee Reconstruction System, CR Cemented Femoral Component, Left & Right , 	CR Cemented Femoral Component, Non-Porous, Size 1 to 6	Size 1 Left & Right, size2 Left & Right, size 3 Left & Right, size 4 left & Right, size 5

Size 1 to 6	Left & Right, size 6 Left & Right

GO197	Iso-Elastic Supercable Trochanteric Grips & Cable Plates System	Trochanteric Grips - Titanium	Short 50mm, 2 Hole Plate 135mm, 4 Hole Plate 190mm, 6 Hole Plate Straight, Right,

Left 245mm

GO198	Iso-Elastic SuperCable Trochanteric Grips and Cable Plate System	Locking Screw Titanium	5.0mm diameter 10mm to 50mm length

GO199	Iso-Elastic SuperCable Trochanteric Grips and Cable Plate System	Compression Screws Titanium	4.5mm Diameter 10mm to 50 mm length

GO200	Iso-Elastic SuperCable Trochanteric Grips and Cable-Plates System	Cable Plates Titanium	6 Hole 185mm, 8 Hole Straight and Curved 240mm, 10 Hole Straight and Curved

290mm

Imaxeon Pty Ltd

Cardio-thoracic

IX001	Amazonia CroCo	Balloon expandable intracoronary cobalt chromium stent premounted onto a rapid 	Lengths:  8mm, 12mm, 16mm, 20mm, 24mm.  Diameters:  2.25mm, 2.5mm, 2.75mm,

exchange delivery catheter	3.0mm, 3.5mm, 4.0mm

IX002	Nile CroCo	Intracoronary stent pre-mounted on two rapid exchange delivery systems for bifurcation	Diameter main branch balloon: 2.50 - 3.50mm.  Diameter side branch balloon: 2.00 -

lesions treatment	3.00mm

Invatec Technology Center GmbH

Vascular

IV001	Chromis deep cobalt Chromium, infrapopliteal OTW stent	Chromis deep - Cobalt Chromium, pre-mounted balloon expandable, 0.014" compatable 	Diameter: 2.0 mm 4.0mm Length: 10mm - 76mm

stent

New Products for Prostheses List Report	Page 15 of 39

Billing Code	Product Name	Further Description	Size

Johnson & Johnson Medical Pty Ltd

Neurosurgical

DY522	Slim-loc Anterior Cervical Plate System	Plates - various levels	22-55mm

DY523	Swift Spine System	Titanium Anterior Cervical Plate System - Various size plates	15 - 55mm

DY524	Uniplate ACP System	Titanium Anterior Cervical Plate	13-55mm

DY525	Swift Spine System	Titanium Anterior Cervical Plate System - Corpectomy Plate	46-55mm

DY526	Swift Spine System	Titanium Anterior Cervical Plate System - Corpectomy Plate	56-102mm

JJ782	X-MESH - Expandable Cage System	Telescoping, vertebral body replacement device	Footprint/diameter 10-40mm, variable height range

JJ791	Expedium Spine System - Unitised Set Screw	Unitised Set Screw	one size

JJ792	Expedium 4.5 System Tandem Connectors	Expedium extended growth Tandem Connectors	40 - 80mm

JJ794	Mountaineer OCT Spinal System	Dual Rod Connectors	3.5 - 3.5mm, 3.5 - 4.75mm, 3.5 - 5.5mm, 3.5 - 6.35mm

JJ795	Mountaineer OCT Spinal System	Adjustable axial Connector	3.5 - 3.5mm, 3.5 - 4.75mm, 3.5 - 5.5mm

JJ800	Skyline Cervical Plate System	Skyline anterior cervical plate. Various size plates, Titanium	12-55mm

JJ801	Skyline Cervical Plate System	Skyline anterior cervical plate. Various size plates. Titanium	56-105mm

Orthopaedic

JJ774	Healix PEEK Suture Anchor	PEEK anchor with Orthocord suture	4.5 - 6.5mm anchor diameter

JJ776	Sigma HP Trochlear Component	Femoral trochlear component, cemented, CoCr	Sizes 1-5, left and right

JJ777	Tri-Lock Gription Femoral Stem	Titanium, Femoral stem, GRIPTION coated	Size 0-12 standard and high offset

JJ778	Sigma HP Unicompartmental Knee - All poly tibial component	Unicompartmental all poly tibial component UHMWPE cemented	Size 1-6, 8-12mm LM/RL & RM/LL

JJ779	Sigma HP Unicompartmental Knee - Fixed bearing insert	Unicompartmental tibial insert, fixed bearing UHMWPE	Size 1-6, 7-12mm LM/RL & RM/LL

JJ780	Sigma HP Unicompartmental Knee - Fixed bearing tibial tray	Unicompartmental tibial base plate, cemented, CoCr for fixed bearing insert	Size 1-6, LM/RL & RM/LL

JJ781	Sigma HP Unicompartmental Knee - Unicondylar femoral component	Unicompartmental femoral component, cemented, CoCr	Size 1-6, LM/RL & RM/LL

JJ783	ALPS Hand Fracture System - CoCr Pegs	Locking pegs & screws, threaded, partly threaded, CoCr	1.0 - 2.5mm x 4 - 40mm

JJ784	ALPS Hand Fracture System - Titanium Pegs	Pegs, threaded, partly threaded, titanium	1.0 - 2.5mm x 4 - 40mm

JJ785	ALPS Hand Fracture System - Locking Plate	Locking plates, titanium, various shapes	1.0mm - 2.5mm locking plates

JJ786	Corail Hip System Cemented Femoral Stem	Stainless steel cemented, polished femoral stem, standard and high offsets	Size 8 - 20

JJ787	Global CAP Resurfacing Humeral Head Implant	Global CAP Conservative Anatomical Prosthesis (Shoulder Humeral Head Surface 	40-56mm Diameter

Replacement)

JJ788	Global AP CTA Humeral Head	CTA Humeral Head	Sizes 44-56mm

JJ793	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	12-55mm

Plastic and Reconstructive

JJ796	BIOPLATE Biomesh	Titanium mesh for cranial fixation system	1.5mm diam; 0.45mm thickness, 32 x 48mm

JJ797	BIOPLATE Biomesh	Titanium mesh for cranial fixation system	1.5mm diam, 0.6mm thickness, 36mm x 52mm

New Products for Prostheses List Report	Page 16 of 39

Billing Code	Product Name	Further Description	Size

JJ798	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non sterile	132 x 134mm, 0.45mm thickness

JJ799	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non sterile	127 x 131mm, 0.6mm thickness

Urogenital

JJ775	GYNECARE TVT SECUR	The GYNECAGE TVT SECUR System consists of a device, 2 Inserters (with finger 	Mesh measures 1.1cm x 8cm in length

pads and a release wire), 1 Protective cover, and 1 plastic delivery tray

JJ789	GYNECARE GYNEMESH	Pelvic floor reconstructive material, lightweight mesh	25 x 25 cm

JJ790	GYNECARE GYNEMESH PS	Pelvic floor reconstructive material, lightweight mesh	10 x 15 cm

JJ802	BULKAMID Urethral Bulking System	Transparent polyacrylamide gel for female urinary incontinence. Kit comprises 2 	2 x 1ml syringes, 2 x BULKAMID 23G needles, 1 x disposable sheath

syringe, 2 needles, 1 applicator

Kevin Grundy (IBD) Pty Ltd

Ophthalmic

KG005	Rayner Sulcoflex Aspheric Toric Pseudophakic Secondary I.O.L - Standard	Acrylic, Aspheric, Toric Pseudophakic Secondary IOL :  Sulcus-fixated with Undulating	6.5mm / 13.5mm - 5.0D+5.0D Spheres : Increments up to  + 5.00D Cylinder

Haptics and Posterior Haptic Angulaiton

KG006	Rayner "Sulcoflex" Aspheric Multi-focal Pseudophakic Secondary IOL	Acrylic, Aspheric Multi-focal Pseudophakic Secondary IOL: Sulcus-Fixated with 	6.5mm / 13.5mm - 5.00D+5.00D sphere with  + 3.00 Addition

Undulating Haptics and Posterior Haptic Angulation

KG007	Rayner Sulcoflex Aspheric Toric Pseudophakic Secondary IOL (Premium)	6.5mm/13.5mm - 5.0D to +5.0D sphere: increments up to 11.0D cylinder	6.5mm/13.5mm - 5.0D sphere: increments up to 11.0D cylinder

KG008	Rayner "Sulcoflex" Pseudophakic I.O.L.	Sulcoflex Aspheric Pseudophakic I.O.L	-5D to +5D

KG009	Rayner "M-Flex" Mulitfocal Foldable IOL	Acrylic, Foldable, Single piece multi-zoned refractive aspheric multifocal with Amon-	6.5mm Optic-Overall diameter 12.5mm: +3D or + 4D Addition: +14D to +25D in 1.0D

Apple 360 Degree Square edge, Anti Vaulting Haptics	increments: +8.5D to +23.5D in 0.5D increments

KG010	Rayner M-Flex Toric (Standard)	Acrylic, Foldable, Single Piece, Multi-zoned Refractive Aspheric Toric Mulitfocal with 	5.75mm / 12.0mm: 6.25mm / 12.5mm +3.00D or +4.00D Addition FAR: +14.0D to

Amon-Apple enhanced 360 degree Square edge, Anti Vaulting Haptics	+32.00D in 0.5 STEPS: +2.00D Cylinder. NEAR: +14.0D to 27.0D in 0.5 STEPS:

+2.00D Cylinder

KG011	Rayner "M-Flex" Toric (Non Standard)	Acrylic, Foldable, Single Piece, Muli-Zoned Refractive, Toric Multifocal with Amon-	5.75/12.0mm: 6.25/12.5mm +3.00D to +4.00D Addition FAR: +14.0D to +32.0D in

Apple enhanced 360 Degree square edge, Anti-vaulting Haptics, Patient Specific.	0.5D Increments: NEAR: +14.0D to +27.0D in 0.50D Increments Cylinder: 1.0D to

1.5D and 2.5D to 6.00D in 0.5 increments

KG012	Rayner "C-Flex" and Superflex" Aspheric IOL	Aspheric Intra Ocular Lenses with Amon-Apple enhanced 360 Degree square edge, 	C-Flex -970C + 22.5D to +34D Superflex-920H - 10D to +22D

Anti-vaulting Haptics

Lifehealthcare Pty Ltd

General/Miscellaneous

LH415	Frankenman Circular Stapler	Curved intraluminal stapler preloaded with titanium staplers.	21mm; 25mm; 28mm; 32mm

LH416	Frankenman Haemorrhoidal (CPH) Stapler	Circular stapler for rectal prolapse and haemorrhoids preloaded with titanium staples	Outside diameter: 32.5mm; 34.5mm

LH417	SLS Ligating Clip (Pouch)	SLS-Clip Titanium Haemostatic Clip	Small pouch of 4 cartridges/ 120 clips; Medium pouch of 4 cartridges/120 clips

LH418	SLS Ligating Clip (Cartridge)	SLS-Clip Titanium Haemostatic Clip	Micro cartridges of 6 clips; Small cartridges of 6 clips; Small/Medium cartridges of 6

clips; Medium cartridges of 6 clips; Medium/Large cartridges of 6 clips; Large

cartridges of 6 clips

New Products for Prostheses List Report	Page 17 of 39

Billing Code	Product Name	Further Description	Size

LH423	Gelitacel Oxidised Resorbable Cellulose Gauze (10)	Gelitacel is a white, single use, non-toxic, sterile, hydorphilic bioabsorbable, weakly 	5 x 35 cm, 10 x 20 cm

acidic, viscose-free, knitted haemostatic fabric (USP)

LH424	Gelitacel Oxidised Resorbable Cellulose Gauze (15)	Gelitacel is a white, single-use, non-toxic, sterile, bioarbsorbable, weakly acidic, 	5 x 7 cm

viscose-free, knitted haemostatic fabrci (USP)

LH425	Frankenman Linear Cutter Stapler	Single use, reloadable, linear cutter stapler containing titanium staples	61mm; 81mm; 100mm

LH426	Frankenman Linear Stapler Reloads	Linear stapler single use reload with titanium staples	32mm; 46mm; 60mm; 90mm

LH427	Frankenman Linear Cutter Reloads	Single use, linear cutter reload cartridge containing titanium staples	61mm; 81mm; 100mm

LH428	Frankenman Linear Stapler	Linear stapler preloaded with titanium staples	32mm; 46mm; 60mm; 90mm

Neurosurgical

LH429	Blackstome Medical Inc Anterior Cervical Plate System	Titanium alloy plate L1-L2	22mm - 54mm

LH430	Blackstone Medical ACP - Level 1 & 2	Titanium Alloy ACP L1-L2	22mm - 54mm

LH431	Signus Anterior Cervical Plate - L1-L2	Pre-contoured titanium plate, secured onto the spinal vertebrae by either fixed or variable	22mm - 54mm

angle colour coded screws.

LH432	Signus Anterior Cervical Plate - L3-L4	Pre-contoured titanium plate, secured onto the spinal vertebrae by either fixed or variable	56mm - 100mm

angle colour coded screws.

Orthopaedic

LH419	SBi Precise SD Distal Volar Plate	An anatomically contoured locking titanium plate and titanium alloy screw/peg system 	Left Distal Volar Plate, 22 x 52mm (Narrow)

intended for fixation of distal radius fractures via open reduction	Left Distal Volar Plate, 25 x 52mm (Standard)

Left Distal Volar Plate, 22 x 75mm (Narrow-Long)

Left Distal Volar Plate, 25 x 75mm (Standard-Long)

Right Distal Volar Plate, 22 x 52mm (Narrow)

Right Distal Volar Plate, 25 x 52mm (Standard)

Right Distal Volar Plate, 22 x 75mm (Narrow-Long)

Right Distal Volar Plate, 25 x 75mm (Standard-Long)

LH420	SBi Precise SD Screw	An anatomically contoured locking titanium plate and titanium alloy screw/peg system 	2.7mm Cortical, Locking, Self-Tapping 10-30mm

intended for fixation of distal radius fractures via open reduction	2.7mm Cortical, Non-Locking, Self-Tapping 10-30mm

2.7mm Lag, Non-Locking, Self-Tapping 10-30mm

3.5mm Cortical, Locking, Self-Tapping 8-20mm

3.5mm Cortical, Non-Locking, Self-Tapping 8-20mm

LH421	SBi Precise SD Smooth Peg (Locking)	An anatomically contoured locking titanium plate and titanium alloy screw/peg system 	1.9mm Smooth Pegs, Locking 12-28mm

intended for fixation of distal radius fractures via open reduction

LH422	SBi K-Wire	K-Wire	1.6mm

LH433	LINK STAR Ankle Prosthesis	Talar Component, cemented	xx-Small - x- large

LH434	LINK STAR Ankle Prosthesis	Tibial Component, cemented	xx-small - x-large

LH435	LINK STAR Ankle Prosthesis	UHMWEPE Sliding Core	6- 14mm

LH436	LINK STAR Ankle Prosthesis	Talar Component, cmentless	xx- small - x-large

LH437	LINK STAR Ankle Prosthesis	Tibial Component, cementless	xx-small - x-large

LH438	LINK STAR Ankle Prosthesis	RevisionTibial Component, Cemented	Extra small - Extra large

LH439	The Radius Plating System - Screws	The Radius System - 2.7-3.0mm diameter Locking anchor, cancellous, bone screws.	2.7-3.0mm diameter screws, 8-38mm length.

New Products for Prostheses List Report	Page 18 of 39

Billing Code	Product Name	Further Description	Size

LH440	CONTOUR Hand Screws	Screws	1.2, 1.7 and 2.3mm in diameter screws ranging between 4 and 24 mm in length.

LH441	CONTOUR Hand	Contour Hand - Plates	XS / S / M / L; straight plate 4-16 hole; Z plate, Y plate, T plate, L plate 5-9 hole;

Straight plate, T plate with stabilizers 5-6 hole; Square, Grid-rectangular plate 4-8 hole;

Straight, T, Y Compression Plate 4-7 hole; Condylar plate w/out stabilizer 5

LH442	The Radius Plating System - Locking Plates	Distal radius plate system	Fracture plates volar and dorsal 2.0mm thickness, left and right of short and long.

Lima Orthopaedics Australia Pty Ltd

Orthopaedic

LC001	Lima RPS Femoral System	Cemented tumor Stem	130, 165, 200mm

LC002	Lima RPS Femoral System	Modular Spacer	60 - 120mm

LC003	Lima Total Hip Replacement System	F2L Multineck Femoral Stem Uncemented, beaded, with HA	1 - 6

LC004	Lima F2L modular neck 	Titanium	Short & Long (Straight & Angled)

LC005	Lima Friendly Stem 	Femoral Stem Cemented, tapered, polished	0, 1, 2, 3

LC006	Lima Plug and hood 	UHMWPE Cement Plug with distal femoral stem hood	8mm - 16mm

LC007	Lima Total Hip Replacement System	Mueller Ceramic and UHMWPE Cup (Cemented)	44 - 62mm

LC008	Randelli/SMR Shoulder System	Cemented Glenoid	Mini, Small, Standard

LC009	Lima Modulus Hip System	Femoral Body, grit blast, non HA	body w/screw, small and large

LC010	Lima Modulus Hip System	Femoral Stem, titanium, grit blast, non HA	Femoral Stem 16mm - 26mm

LC011	Lima C2 Femoral Stem	Femoral Stem, titanium, grit blast, non HA	1-8

LC012	Lima Cup 	Metal Liner	28mm, 32mm and 36mm

LC013	FIT stem	FIT anatomical Femoral Stem	1-7

LC014	Sam-Fit modular neck	Modular neck	S1-S6, L1-L6

LC015	Sam-Fit modular stem	Modular stem	1 - 7

LC016	Lima Total Hip Replacement System	Titanium, plasma, HA	44 - 66mm

LC017	Lima Delta  Ceramic Liner	Ceramic Liner, biolox forte and delta	A, B, C, D, E

LC018	Lima Delta Cup Insert	Protruded UHMWPE Unmodified Liner	A, B, C, D, E

LC019	Lima bipolar Total Hip Replacement System	Bipolar shell, inset and head 	41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 51, 52, 53, 54, 55, 56, 57mm

LC020	Lima Mueller Cup	UHMWPE Cup unmodified Cemented	44 - 62mm

LC021	Lima acetabular plate 	Acetabular reconstruction cage 	50, 54, 58, 62, 64mm

LC022	Lima reconstruction shell	Acetabular reconstruction shell	50 - 66mm

LC023	Lima Total Hip Replacement System	Spacer	S-M-L

LC024	Lima Bone Screw	Titanium  Bone Screw	20 - 60mm

LC025	Lima Bilobo Hemisphere bone revision shell	Acetabular reconstruction shell	50 - 58mm

LC026	Lima Accent Hip System	Femoral Stem Cemented, tapered, polished	1 -6

LC027	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm

New Products for Prostheses List Report	Page 19 of 39

Billing Code	Product Name	Further Description	Size

LC028	H-Max Femoral stem	Modular stem	9-18

LC029	H-Max Femoral neck	Modular neck	1-6

LC030	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18

LC031	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24

LC032	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL, XXL

LC033	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL

LC034	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL

LC035	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL

LC036	Lima RPS Tumor System	RPS Additional Spacer	40, 60, 90, 120mm

LC037	Randelli/SMR Total Shoulder	Randelli/SMR Eccentrical Adapter	0 - 6mm

LC038	Randelli/SMR Shoulder System	Uncemented Glenoid	Mini, Small, Standard

LC039	Randelli/SMR Shoulder System	Uncemented Glenoid Liner	Mini, Small, Standard

LC040	Randelli/SMR Total Shoulder	Randelli/SMR Neutral Taper	0 - 6mm

LC041	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Body with Locking Screw	One size only

LC042	Randelli/SMR Total Shoulder	Randelli SMR shoulder cemented stem	8, 10, 12, 14, 16mm

LC043	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Uncemented Stem	11-24mm

LC044	Lima RPS Tumor System	RPS Total Shoulder Replacement Stem	200, 240, 280mm

LC045	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Head	42, 44, 46, 48, 50, 52, 54mm

LC046	Lima RPS Tumor System	RPS Humeral Head	46, 52, 58mm

LC047	Lima Humeral Nail	Stainless steel	Dia 7 - 8mm, length 200 - 300mm

LC048	Randelli/SMR Total Shoulder	Randelli/SMR shoulder revision cemented stem	200, 240, 280mm

Link Orthopaedics  Australia

Orthopaedic

LO147	Bone Cerclage Wire	Cerclage Wire	Length 470mm, Diameter sizes of 0.4mm, 0.5mm, 0.6mm, 0.7mm, 0.8mm. Packet size

of 10

LO148	Thabe Titanium Cerclage Band with Lock	Thabe Titanium Cerclage Band is crimped at the lock	6.0mm wide, 240mm

LO149	Bone Cerclage Band with Lock	The Cerclage Band with a locking mechanism consists of a band, manufactured from 	Complete, length with lock: 165mm, width 5mm

stainless steel, 165mm long and 5mm wide and a lock

LO150	BetaCup Cementless Acetabular Cup System	Acetabular Cup system comprising of 16 metal casings, TiCaP coating, 3 Ceramic or 4 	Ø

UHMWPE Inserts, head diameters from Ø 26mm and Ø 36mm

LO151	BetaCup Cementless Acetabular Cup System	Ceramic Insert	28mm>

LO152	BetaCup Cementless Acetabular Cup System	UHMWPE Insert	26mm>

New Products for Prostheses List Report	Page 20 of 39

Billing Code	Product Name	Further Description	Size

LMT Surgical Pty Ltd

Orthopaedic

LM094	CCI Evolution	Total ankle replacement	standard, standard plus, large, large plus

LM095	Hinged finger joint	Hinged finger joint replacement	5 sizes screw component - 4 x 18mm, 5 x 18mm, 6 x 20mm, 7 x 22mm, 8 x 25mm; 1

size pivot component

LSS Surgical Pty Limited

Neurosurgical

LS026	MATRIS Cervical Plate System	Cervical Plate 20mm to 55mm	< 55

LS027	MATRIS Cervical Plate System	Cervical Plate 57mm to 80mm	> 55

LS028	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System	22mm to 55mm

LS029	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System	58mm to 82mm

Mayo group

Vascular

CM015	ARROWg+ard Blue Haemodialysis Catheters	Haemodialysis Catheters (of various lengths, sizes and lumen confiurations) with 	CS-22122 - 12Fr 16cm, Dual Lumen

antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external 	CS-22123 – 12Fr 16cm, Triple Lumen

surface of the polyurethane catheter material.	CS-25122 – 12Fr x 20cm, Dual Lumen

CS-22142CF – 14Fr x 15cm, Dual Lumen, Curved, Firm

CS-22142F – 14Fr x 15cm, Dual Lumen Firm

CS-25122 - - 12Fr x 20cm, Double Lumen

CS-25123 – 12Fr x 20cm, Triple Lumen

CS- 25142CF – 14Fr x 20cm, Double Lumen, Curve, Firm

CS-25142F – 14Fr x 20cm, Double Lumen, Firm

CS-26142F – 14Fr x 25cm, Double Lumen, Firm CU-22122- 12Fr x 16cm, Double

Lumen, Curved        CU-23122 - 12Fr x 13cm, Double Lumen, Curved         CU-25122

- 12Fr x 20cm, Double Lumen, Curved

CM016	ARROWg+ard Blue Single Lumen Central Venous Catheters	A polyurethane central venous catheter with Blue FlexTip (of various lengths, sizes and 	CS-24301 - 16g x 20cm, Single Lumen, Adult

lumen configurations) with antimicrobial impregnation (chlorhexidine and silver 	CS-24306E-16g x 16cm, Single Lumen Adult

sulphadiazine) on the external surface of the polyurethane catheter body.	CS-24701 - 14g 20 cm, Single Lumen Adult

CS-24706E -14g x 16cm, Single Lumen, Adult

CM017	ARROWg+ard Four & Five Lumen Central Venous Catheters	A polyurethane central catheter with Blue FlexTip (of various lengths, sizes and lumen 	CS-22854E - 8.5 Fr x 16cm, Quad Lumen

configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) 	CS-25854E - 8.5Fr x 20cm, Quad Lumen

on the external surface of the polyurethane catheter material	CS-22855 - 8.5 x 16cm, Five Lumen

CS-25855 - 8.5Fr x 20cm, Five Lumen

New Products for Prostheses List Report	Page 21 of 39

Billing Code	Product Name	Further Description	Size

CM018	ARROWg+ard Blue Double & Triple Lumen Central Venous Catheters	A polyurethane central venous catheter with Blue FlexTip (of various lengths, sizes and 	CS-24402 - 4Fr x13cm, Dual Lumen

lumen configurations) with antimicrobial impregnation (chlorhexidine and silver 	CS-22502 - 5FR x 5cm, Dual Lumen

sulphadiazine) on the external surface of the polyurethane catheter material	CS-25402 - 4Fr x 8cm, Dual Lumen

CS-25502 - 5Fr x 12cm, Dual Lumen

CS-22702E - 7Fr x 16cm, Double Lumen

CS-26702 - 7Fr x 20cm, Double Lumen

CS-27702E - 7Fr x 20cm, Double Lumen

CS-25553 - 5.5Fr x 8cm, Triple Lumen

CS-22703E - 7Fr x 16cm, Triple Lumen CS-26553 -5.5Fr x 13cm, Triple Lumen

CS-24703E - 7Fr x 30cm, Triple Lumen

CS-25703E - 7Fr x 20cm, Triple Lumen

CM019	ARROWg+ard Blue Plus QUAD Lumen Central Venous Catheters	Central Venous Catheters (of Various lengths, sizes and lumen configurations with 	CS-42854E - 8.5Fr x 16cm, Quad Lumen

antimicrobial impregnation on:	CS-45854E - 8.5Fr x 20cm, Quad Lumen

1. The external indwelling surface of catheter material (chorhexidine and silver

sulphadiazine)

2. The entire internal fluid pathway including catheter, extension-lines and hubs

(chlorhexidine acetate)

CM020	ARROWg+ard Blue Plus Double & Triple Lumen Central Venous Catheters	Double & Triple  Lumen Central Venous Catheters (of various lengths sizes and lumen 	CS-45802E - 8 Fr x 20cm, Dual Lumen

configurations) with antimicrobial impregnation on:	CS-46702E - 7Fr x 20cm, Dual Lumen

1. The external indwelling surface of catheter material (chlorhexidine and silver 	CS-47702E - 7Fr x 20cm, Dual Lumen

sulphadiazine)	CS-42703E - 7Fr x 16cm, Triple Lumen

2. The entire internal fluid pathway including catheter, extension-lines and hubs 	CS-45703E - 7Fr x 20cm, Triple Lumen

(chlorhexidine acetate)

CM021	Arrow double lumen pressure injectable peripherally inserted central catheter (PICC) set	Arrow double lumen pressure injectable PICC (peripherally inserted central catheter) set	5Fr x 50cm, Double Lumen

CM022	Arrow single lumen pressure injectable peripherally inserted central catheter (PICC) set	Single lumen pressure injectable peripherally inserted central catheter (PICC) set	4 Fr x 50cm, Single lumen

Medical & Optical Instruments Australia Pty Ltd

Orthopaedic

MO279	Anatomic Midshaft Forearm Plates	Internal Fixation Plate Anatomic Forearm, Ulna & Radius	Midshaft Ulna Plates: 6 hole(80mm), 8 hole (100mm), 10 hole (130mm) 12 hole

(160mm); Midshaft Dorsolateral Radius Plates: 6 hole (80mm), 8 hole (100mm), 10 hole

9130mm) 12 hole (160mm); Midshaft Volar Radius Plates: 6 hole (80mm), 8 hole

(100mm), 10 hole (130mm), 12 hole (160mm)

MO280	Acumed Fibula Rod System	Intermedullary Nail, fibula lower limb specific	3.00mm & 3.6mm diameter left and right specific rods with lengths of 110mm, 145mm,

180mm

Plastic and Reconstructive

MO282	Martin Mandibular Fracture System	2mm Straight, angled,shaped Plate Titanium	4-7 hole

1.0 to 1.99mm thick

MO283	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	2 hole, 0.6mm profile

MO284	Martin Miniplate Osteosynthesis System	2.0mm Systrem low profile	0.5-0.99mm thick 16-32 hole

MO285	Martin LevelOne Fixation	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes

MO286	Martin Miniplate Osteosynthesis System	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes

MO287	Martin Level One Fixation	Screw Titanium	diameter <1.24mm

New Products for Prostheses List Report	Page 22 of 39

Billing Code	Product Name	Further Description	Size

MO288	Martin Level One Fixation	Screw Titanium	diameter 1.25 to 1.74mm

MO289	Martin Level One Fixation	Mesh Titanium	0.5 to 0.8mm thick, 1 to 10cm2 area

MO290	Titan Mesh	Mesh Panel, Titanium	Mesh 80x80mm profile 0.1mm

MO291	Titan Mesh	Mesh Panel, Titanium	Mesh 30x30mm profile 0.1mm

MO292	Titan Mesh	Mesh Panel, Titanium	Mesh 51x 51 mm profile 0.3mm

MO293	Martin Mandibular Fracture System	1.5/2.0mm System Straight  angled, shaped Plate Titanium	16-32  hole         1.0-1.99mm thick

MO294	Martin Mandibular Fracture System	Pre-Formed 3 D Titanium Mandibular Reconstruction Plate	2.3mm angled, symphysis and straight plate; 16-32 holes

MO295	Martin Level One Fixation	Plate Titanium	1.0 to 1.99mm thick, 16 to 32 holes

MO296	Martin Miniplate Osteosynthesis System	2.0mm system plate straight angled shaped	4 -7 Hole,  0.6-1.0 mm thick

MO297	Martin Level One Fixation	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes

MO298	Titan Mesh	Mesh Plates Titanium	2 hole strip 1, 1.5, 2mm

MO299	Martin Level One Fixation Resorb x & SonicWeld	Mesh PDLLA (resorbable)	0.20 to 0.49mm thick, 1 to 10 cm2 area

MO300	Resorb-X Mesh Plate 25 x 25mm	Resorb-X Osteosynthesis System, Resorbable mesh plate	29 x 29mm -  0.6, mm profile

MO301	Resorb-X Mesh Plate 25 x 25mm	Resorb-X Osteosynthesis System, Resorbable mesh plate	22 x 26mm -  0.6, mm profile

MO302	Martin Level One Fixation Resorb x & SonicWeld	Reconstruction sheet not mesh PDLLA (resorbable)	25x25mm-0.1mm

MO303	Titan Mesh Orbital Floor Plate (Martin)	Titan mesh - contoured orbital floor repair mesh plate	1.5mm 0.3 profile

MO304	Martin Level One Fixation	Mesh Ttianium	0.20 to 0.49mm thick, 11 to 25 cm2 area

MO305	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable Mesh Plate	29 to 31 x 104 to 106mm Mesh Plate

MO306	MESH	Titanium mesh	various sizes profile 0.6mm

MO307	Resorb x SonicWeld Rx Osteosynthesis System Bone Screw/Pin	SonicWeld Rx Bone Pin Screw	1.6 - 2.1mm diameter, 4 - 20mm

MO308	Martin Level One Fixation Resorb x & SonicWeld	SonicPin PDLLA (resorbable)	diameter 1.25-1.74mm

MO309	Titan Mesh	Mesh Plates Titanium	Box plate 50x30 profile 0.6mm

MO310	Martin Level One Fixation	Mesh Titanium	0.5 to 0.8mm thick, 11 to 25 cm2 area

MO311	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter,  5 to 30mm length

MO312	Martin Level One Fixation	Screw Titanium	2.25mm  - 2.74 mm diameter

MO313	Martin Mandibular Fracture System	2.0mm and 2.3mm titanium plates	8-15 hole            1.0 - 1.99mm thick

MO314	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable straight plate angled shaped	8-15 hole 1.0 - 1.99mm thick

MO315	Martin Miniplate Osteosynthesis System	Screw Titanium	2mm diameter, 4 to 19mm length

MO316	Martin Level One Fixation	Screw Titanium	diameter 1.75-2.24mm

MO317	Martin Miniplate Osteosynthesis System	2.0mm Low profile Straight, angled,shaped Plate Low Profile Titanium	0.5-0.99mm thick 8-15 hole

MO318	Martin Miniplate Osteosynthesis System	2.0mm Low profile Straight, angled,shaped Plate Low Profile Titanium	0.5-0.99mm thick 8-15 hole

New Products for Prostheses List Report	Page 23 of 39

Billing Code	Product Name	Further Description	Size

Medical Specialties  Australia Pty Ltd

Vascular

MS052	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided Polyester PFTE impregnated Suture 	Diameter 22 - 46mm, Length 103 - 179mm

Dual Sheath Delivery System

MS053	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided Polyester PFTE impregnated Suture 	Diamter 22 - 46mm,  Length 180 - 271mm

Dual Sheath Delivery System

Medtel Australia Pty Ltd

Cardio-thoracic

ME187	AMPLATZER Duct Occluder II	Self expandable multiple Nitinol wire mesh PDA occlusion device	Waist diameter 3-6mm, Nominal length 4-6mm

Vascular

ME186	AMPLATZER Vascular Plug - II	The AMPLATZER Vascular Plug II is a self-expandable, multi-lobed cylindraical device 	9-AVP2-003, 3mm Diameter, 6mm Plug Length.

made from a nitinol wire mesh. The device is secured on both ends with platinum 	9-AVP2-004, 4mm Diameter, 6mm Plug Length.

marker bands, A stainless steel micro screw is welded to one of the platinum marker 	9-AVP2-006, 6mm Diameter, 6mm Plug Length.

bands, which allows attachment to a delivery wire. The plug is preloaded into a loader 	9-AVP2-008, 8mm Diameter, 7mm Plug Length.

attached to a nitinol pusher wire and is coiled in a hoop dispenser	9-AVP2-010, 10mm Diameter, 7mm Plug Length.

9-AVP2-012, 12mm Diameter, 9mm Plug Length.

9-AVP2-014, 14mm Diameter, 10mm Plug Length.

9-AVP2-016, 16mm Diameter, 12mm Plug Length.

9-AVP2-018, 18mm Diameter, 14mm Plug Length.

9-AVP2-020, 20mm Diameter, 16mm Plug Length.

9-AVP2-022, 22mm Diameter, 18mm Plug Length.

Medtronic Australasia Pty Ltd

Cardio-thoracic

MC833	CapSureFix Novus Model 4076 Pacing Lead	Active fixation pacemaker lead	45 - 85cm

MC834	Sprint Quattro Secure S	Model 6935, Active Fixation Single Coil Defibrillation Lead	52 - 100cm

MC844	Profile 3D Annuloplasty Ring	3D, rigid annuloplasty ring with physiologic mitral valve shape	Diameter (mm) 24 - 40mm

Ear, Nose & Throat

MC918	The Big Easy Piston	Big Easy Range - MRI Safe, Triple Width Platinum Band, Double Width Platinum Shaft 	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 4.75mm

with Offset Versions

MC919	Prostheses Malleus	Hydroxyapatite	0.6 - 4.0mm x 2.7 - 5.0mm x 1.5 - 10.0mm

MC920	Flex H/A Incus Necrosis Prostheses	2.5 - 4.0mm x 10.0mm

MC921	Middle Ear Prostheses	Malleus+ Incus	Small, Medium, Large, 0.6 x 2.2 x 8.0mm

MC922	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 4.75mm

MC923	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 4.75mm

MC924	Middle Ear Prostheses	Malleus	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 4.75mm

MC925	Vent Tube	Fluoroplastic	1.02 - 1.27mm x 1.0 - 3.5mm

MC926	Medtronic Vent Tube	Activent Antimicrobial Ventilation Tube	1.14 - 1.27mm x 0.9 - 3.0mm

MC927	Medtronic Vent Tube	1.02 - 1.52mm x 1.3 - 12.0mm

New Products for Prostheses List Report	Page 24 of 39

Billing Code	Product Name	Further Description	Size

General/Miscellaneous

MC839	Medtronic MiniMed Insulin Infusion Pump	Paradigm Veo Model MMT-554. 'Smart' Insulin Pump with REAL-Time continuous 	5.1 x 7.6 x 2.0cm

glucose monitoring capability, incorporating a low glucose suspend and with remote

control.

MC840	Medtronic MiniMed Insulin Infusion Pump	Paradigm Veo Model MMT-754. 'Smart' Insulin Pump with REAL-Time continuous 	5.1 x 9.4 x 2.0cm

glucose monitoring capability, incorporating a low glucose suspend and with remote

control.

Neurosurgical

MC837	Medtronic Activa Patient Programmer	Patient Programmer for Activa RC and PC (Model 37642)	One size only

MC838	Medtronic ACTIVA PC Neurostimulator for Deep Brain Stimulation	ACTIVA PC Dual channel primary cell neuro stimulator for Deep Brain Stimulation 	One size only

(37601)

MC841	Medtronic MicroTargeting Electrodes	Microelectrodes used for intra-operative recording of neuronal activity	Various

MC842	Medtronic Screening Cable (Twist Lock)	Screening Cable with Twist Lock for Intraoperative testing	One size only

MC843	Medtronic Screening Cable (Alligator Clip)	Screening Cable with Alligator Clip for Intraoperative testing	One size only

MC852	Medtronic Extension for Deep Brain Stimulation	Medtronic ACTIVA Stretch Coil Extension for use with ACTIVA RC and PC	40cm, 60cm, 95cm

MC857	Small Lumen Peritoneal Catheter	CSF Distal Catheter	ID - 0.7mm OD - 2.5mm Length - 120cm

MC858	Atlantis Anterior Cervical Plate	Anterior Cervical Plate	57.5mm - 110mm

MC859	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and Nitinol	57.7mm - 150mm

MC860	Silo	Fixed Screw	4.5 - 8.5mm Diameter

MC861	Silo	Mutliaxial Screw	4.5 - 8.5mm Diameter

MC862	Silo	Sagittal Screw	4.5 - 8.5mm Diameter

MC863	Zephir Anterior Cervical Plate	Anterior Cervical Plate	22.5mm - 55mm

MC864	Zephir Anteior Cervical Plate	Anterior Cervical Plate	57.5mm - 70mm

MC865	Premier Anterior Cervical Plate	Anterior Cervical Plate	23mm - 55mm

MC866	Premier Anterior Cervical Plate	Anterior Cervical Plate	57.5mm - 90mm

MC928	Strata NSC L-P Shunt	Lumboperitoneal Shunt	44mm x 23mm x 12mm

MC929	Medtronic RestoreULTRA Neurostimulator	16 Electrode Rechargeable implantable Neurostimulator for pain management (37712)	22cc

Orthopaedic

MC853	Nanostim	Synthetic Bone Paste	1cc

MC854	Nanostim	Synthetic Bone Paste	2cc

MC855	Nanostim	Synthetic Bone Paste	5cc

MC856	Nanostim	Synthetic Bone Paste	10cc

Plastic and Reconstructive

MC867	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Plate	Ohata Tristar 8.4 10mm, < 4 hole

MC868	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Plate	Fan Blade 11-18mm, Mesh 11-25mm, 4 - 7 hole

New Products for Prostheses List Report	Page 25 of 39

Billing Code	Product Name	Further Description	Size

MC869	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Plate	Ohata Kerf Cover, 5 - 32 hole

MC870	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Y Plate Double and Single	4 - 7 hole

MC871	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	8-15 holes

MC872	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	< 4 holes

MC873	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	8 - 15 hole

MC874	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Straight Plate	16-32 hole

MC875	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, T Plate	4 - 7 hole

MC876	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, T Plate	8 - 15 hole

MC877	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Mesh	51 to 100 cm2 area, 0.6mm thickness

MC878	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Mesh	101 to 200 cm2 area; 0.5 or 0.6mm thickness

MC879	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Cruciate Head, 12 point Flat Head	Diameter <1.24mm

MC880	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Cruciate Head, 12 point Flat Head	Diameter 1.25 - 1.74mm

MC881	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Cruciate Head, 12 point Flat Head	Diameter 1.75 - 2.24mm

MC882	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, Screw - Crucuate Head, 12 point Flat Head	Diameter 2.25 - 2.74mm

MC883	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, L Plate (Left and right configurations)	4 to 7 holes

MC884	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, L Plate (Left and right configurations)	8 - 15 hole

MC885	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, H Plate	4 - 7 hole

MC886	TiMesh Rigid Fixation Bone Grafting and Plating System	Titanium, H Plate	8-15 hole

MC887	TiMesh	Titanium Mesh Panel	51 to 100 cm2 area

MC888	TiMesh	Titanium Mesh Panel	100 to 200 cm2 area

MC889	TiMesh	Square-rectangular Gridmesh Panel	11 to 25 cm2 area

MC890	TiMesh	Square-rectangular Gridmesh Panel	51 to 100 cm2 area

MC891	Macropore	Oblique Plates	4 to 7 holes

MC892	Macropore	Oblique Plates	8 to 15 holes

MC893	Macropore	Protective Sheets	11 to 25 cm2 area, 0.5mm thick

MC894	Marcropore	Protective Sheets	11 to 25 cm2 area, 1.0mm thick

MC895	Macropore	Protective Sheets	1 to 10 cm2 area; 0.5mm thick

MC896	Macropore	Protective Sheets	1 to 10 cm2 area; 1.0mm thick

MC897	Macropore	Orbital Floor Liner	1 to 10 cm2 area; 0.5mm or 0.75mm thick

MC898	Macropore	Orbital Floor Liner	1 to 10 cm2 area; 1.0mm thick

MC899	Macropore	Protective Sheets	51 to 100 cm2 area; 0.5mm thick

MC900	Macropore	Protective Sheets	51 to 100 cm2 area; 1.0mm thick

MC901	Macropore	Screws	Diameter 1.75 - 2.24mm

MC902	Macropore	Screws	Diameter 2.25 - 2.74mm

MC903	Macropore	Screws	Diameter 2.75 - 3.24mm

New Products for Prostheses List Report	Page 26 of 39

Billing Code	Product Name	Further Description	Size

MC904	Timesh	Internal Drive Screws	Diameter 1.5mm

MC905	Timesh	Internal Drive Screws	Diameter 1.8mm

MC906	Timesh	Rescue Screws	Diameter 1.8mm

MC907	Timesh	Rescue Screws	Diameter 2.4mm

MC908	Timesh	Rigid Straight Plates	< 4 holes

MC909	Timesh	Rigid Straight Plates	4 - 7 holes

MC910	Timesh	Rigid Straight Plates	8-15 holes

MC911	Timesh	Rigid Straight Plates	16-32 holes

MC912	TiMesh Titanium Rigid Fixation Bone Grafting and Plating System	FlexMesh 1.0mm system. Composition: Titanium	51 to 100 cm2 area; 0.3mm thick

MC913	TiMesh Titanium Rigid Fixation Bone Grafting and Plating System	FlexMesh 1.0mm system. Composition: Titanium	51 to 100 cm2 area; 0.6mm thick

MC914	TiMesh Titanium Rigid Fixation Bone Grafting and Plating System	FlexMesh 1.5mm System. Composition: Titanium	26 to 50 cm2 area; 0.3mm thick

MC915	TiMesh Titanium Rigid Fixation Bone Grafting and Plating System	FlexMesh 1.5mm System. Composition: Titanium	26 to 50 cm2 area; 0.6mm thick

MC916	TiMesh Titanium Rigid Fixation Bone Grafting and Plating System	FlexMesh 1.5mm System. Composition: Titanium	51 to 100 area; 0.3mm thick

MC917	TiMesh Titanium Rigid Fixation Bone Grafting and Plating System	FlexMesh 1.5mm System. Compostition: Titanium	51 to 100 cm2 area; 0.6mm thick

Vascular

MC845	Endurant AAA Stent Graft Bifurcation	Endurant Endoluminal Stent Graft System - Bifurcated Graft	23 - 36mm x 13 - 20mm x 135 -185mm

MC846	Endurant AAA Contralateral Iliac Limb	Endurant Endoluminal Stent Graft System - Contralateral Iliac Limb	10 - 28mm X 80 - 120mm

MC847	Endurant Aorto-Uni-Iliac (AUI)	Endurant Endoluminal Stent Graft System - AUI	23 - 36mm X 120mm

MC848	Endurant AAA Iliac Extension	Endurant Endoluminal Stent Graft System - Iliac Extension	10 -  28mm x 80mm

MC849	Endurant AAA Aortic Extension	Endurant Endoluminal Stent Graft System - Aortic Extension	23 - 36mm x 60mm

MC850	Endurant AAA Abdominal Tube	Endurant Endoluminal Stent Graft System - Abdominal Tube	23 - 36mm X 85mm

MC851	Defender Coronary and Carotid Filter System	Distal embolic protection device and delivery system	Filter 2.5 - 6.5mm; Length 180cm; Profile 0.014 - 0.070"(0.356 - 1.78mm)

Morton Surgical Pty Ltd t/a Matrix Surgical Company

General/Miscellaneous

MG032	Glubran 2	Synthetic cyanoacrylic surgical glue. N-Butyl (2) cyanoacrylate and 	1ml

methacryloxysulfolane co-monomer.

Oncura Pty Limited

General/Miscellaneous

ON004	RAPID Strand Rx Seeds	I-125 RAPID Strand Rx, pre-loaded titanium capsules containing iodine 125.  To be 	Custom

used only if more than 100 seeds are used per patient.  Benefit is per seed.

Orthotech Pty Ltd

Neurosurgical

OH365	AxiaLIF Facet Screw	Percutaneous 360 degree fusion at L5 - S1	4/5mm x 25-40mm

New Products for Prostheses List Report	Page 27 of 39

Billing Code	Product Name	Further Description	Size

Penumbra Neuro Australia Pty Ltd

Neurosurgical

PN001	Penumbra Reperfusion Catheter	Intracranial reperfusion catheter	Outer diameter: 2.8, 3.4, 4.1FR; Working length: 150, 150, 137cm

PN002	Penumbra Separator	Intracranial reperfusion separator	Outer diameter:0.56, 0.71, 0.89mm. Working length: 155, 155, 142

Scient'x Australia

Neurosurgical

SX024	Lyra plate	Antero-lateral thoraco-lumbar plate	length 40mm; 45mm; 50mm; 55mm; 60mm; 65mm; 70mm; 80mm; 90mm 100mm;

110mm

SX025	Lyra Screws	Screws for antero-lateral thoraco-lumbar plate: short hemispherical, locking spherical	Diameter:6.5mm; 5.5mm Length: 30mm; 32.5mm; 35mm; 37.5mm; 40mm; 45mm;

50mm; 55mm; 60mm

SX026	MX System Open Monoaxial Screw	Open monoaxial pedicle screw	Diameter 5.5mm; 6.2mm; 7mm - length 35mm; 40mm; 45mm; 50mm

SX027	MX System Polyaxial Screw	Polyaxial Pedicle Screw	Diameter 5.5mm; 6.2mm; 7mm - Length 35mm; 40mm; 45mm; 50mm

SX028	MX System Closed Monoaxial Screw	Closed monoaxial pedicle screw	Diameter 5.5mm; 6.2mm; 7mm - Length 35mm; 40mm; 45mm

SX029	Lyra Nut	Short Hemispherical nut	one size only

SX030	MX System Nut	Inner Locking nut for MX System Screws	One size only

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SM153	Legion Hinge Femoral Wedge	A distal femoral Wedge for use with the Legion Hinge system.	Size 2 to 7 5,10,15,20mm

SM154	Legion Hinge Sleeve and Bolt	Is used to secure the Legion Hinge femoral component to the hinge mechanism attached	Sizes 2-7

to the baseplate.

SM155	InterTAN CHS-Integrated Interlocking Screws	Integrated Interlocking Screws	11mm x 7.0mm diameter, 65mm Lag Screw/60mm Compression Screw (65/60), 70/65,

75/70, 80/75, 85/80, 90/85, 100/95, 105/100, 110/105, 115/110, 120/115, 125/120,

130/125, 135/130, 140/135.

SM156	Journey Uni Femur-Oxinium	Uni Femur - Oxinium - It is UniCondylar Femur	Size 1 to Size 7 Please refer to the pocket guide

SM157	Journey Uni Femur- Cocr	Uni Femur - CoCr - It is UniCondylar Femur	Size 1 to Size 7

SM158	Legion Hinge Femur CoCr	The femoral component of the Legion Hinge system.	Size 2 to 7

SM159	Legion Hinge Rotating Platform Insert	This tibial insert is used for the construction of the Legion hinge.	Sizes 2-7 11,13,15,18,21mm

SM160	Legion Hinge Tibial Baseplate	A tibial baseplate used for the Legion Hinge system.	Size 2 to 7 Left, Right

SM161	Legion Hinge Guided Motion Tibial Insert	This tibial insert is used for the construction of the Legion hinge.	Sizes 2-7 11,13,15,18,21mm

SM162	SPYROMITE	A non-absorbable polymer (PEEK) anchor for use in ligament/tendon reconstruction in 	2mm in diameter

small joint applications

SM163	DYNOMITE	A non-absorbable polymer (PEEK) anchor for use in ligament/tendon reconstruction in 	2mm in diameter

small joint applications.

SM164	BIOSURE	A non-absorbable polymer (PEEK) interference screw for use in ligament/tendon 	6-12mm in diameter

reconstruction

SM165	Revision Delta Ceramic Femoral Head	Biolox Option Head	≤32mm

SM166	Revision Delta Ceramic Femoral Head Sleeve	Biolox Option Sleeve	≤32mm

New Products for Prostheses List Report	Page 28 of 39

Billing Code	Product Name	Further Description	Size

SM167	Revision Delta Ceramic Femoral Head	Biolox Option Head	>32mm

SM168	Revision Delta Ceramic Femoral Head Sleeve	Biolox Option Sleeve	>32mm

SN900	NANOS Neck Preserving Stem	.Neck preserving femoral stem with vacuum plasma spray titanium porous coating and 	Size 0 to Size 9

Calcium Phosphate electro chemical deposition process coating (Bonit Coating) for use

without modular femoral neck choices

SN901	Legion Hinge Axle	Is used to secure the Legion Hinge femoral component to baseplate.	Sizes 2-7

Sole Health Care Products Pty Ltd

General/Miscellaneous

PS001	Linear Stapler	Single use surgical stapler preloaded with titanium staples.	30mm (4.5mm & 3.8mm), 45mm (4.5mm & 3.8mm), 60mm (4.5mm & 3.8mm),

75mm (4.5mm & 3.8mm) and 90mm (4.5mm & 3.8mm)

PS002	Linear Stapler Cartridge	Reloading cartridge containing titanium staples for use with the Linear Stapler	30mm (3.8mm & 4.5mm), 45mm (3.8mm & 4.5mm), 60mm (3.8mm & 4.5mm),

75mm (3.8mm & 4.5mm) and 90mm (3.8mm & 4.5mm)

PS003	Hemorrhoid Stapler	Surgical Hemorrhoidal Circular Stapler with staple leg lengths specifically designed to 	32mm (3.8mm), 34mm (3.8mm & 4.5mm), 36mm (4.0mm & 4.5mm)

perform Stapled Hemorrhoidectomies and Stapled Transanal Rectal Resection

(S.T.A.R.R) procedures.

PS004	Circular Stapler	Surgical Circular Stapler pre loaded with titanium staples used to anastomose organs.	21mm (4.2mm), 24mm (4.5mm), 26mm (4.5mm), 29mm (4.8mm), 32mm (5.0mm),

and 34mm (5.0mm)

PS005	Linear Cutter	Single use surgical stapler and cutter pre loaded with titantium staples.	55mm (3.85mm), 55mm (4.5mm), 75mm (3.85mm), 75mm (4.5mm), 100mm

(3.85mm), 100mm (4.5mm)

PS006	Linear Cutter Cartridge	Reloading cartridge containing titanium staples for use with the Linear Cutter.	55mm (3.85mm & 4.5mm), 75mm (3.85mm & 4.5mm) and 100mm (3.85mm &

4.5mm).

Sorin Group

Cardio-thoracic

SA142	Reply™ SR	Single chamber permenent pacemaker with rate response modulation	37 x 41.5 x 6.1mm

19 Grams

7.5 cm3

St. Jude Medical Australia Pty Ltd

Cardio-thoracic

SJ141	SJM Epic Supra Valve	triple composite Bioprosthetic heart valve for supra-annular placement in the aortic 	Tissue Annulus Diameter - 19-23mm

position	Total Height - 14-16mm

SJ142	Analyst VR CD1217-36	Single Chamber Cardioverter Defibrillator with RF Telemetry and ST Segment Monitoring	79g, 41cc

SJ143	AnalyST Accel DR CD2219-36	Dual Chamber cardioverter defibrillator with RF telemetry and ST Segment Monitoring	80g, 42cc

SJ144	AnalyST DR Model CD2217-36	Dual Chamber cardioverter defibrillator with RF telemetry and ST Segment Monitoring	80g, 42cm

SJ145	Promote Accel CD3215-30	Cardiac Resyncronisation Therapy Defibrillator with RF Telemetry	76g, 39cc

SJ146	Isoflex 1944T & 1948T	Passive-Fixation, Bipolar, Steriod Eluting, Endocardial Pacing Lead with Optim insulation	46cm, 52cm, 58cm

SJ147	Current Accel VR RF CD1215-36	Single Chamber Cardioverter Defibrillator with RF Telemetry	79g, 38cc

New Products for Prostheses List Report	Page 29 of 39

Billing Code	Product Name	Further Description	Size

SJ150	Promote Accel RF CD3215-36	Cardiac Resynchronisation Therapy Defibrillator with RF Telemetry	82g, 43cc

SJ151	OptiSense Model 1999	Active-Fixation Bipolar, Steroid Eluting, endocardial, atrial pacing lead with Optim 	40, 46 & 52cm

insulation

SJ152	SJM Confirm Model DM2102	Implantable cardiac monitor with atrial fibrillation monitoring.	6.5cc, 12g

SJ153	Current Accel DR RF CD2215-36	Dual Chamber Cardioverter Defibrillator with RF Telemetry	80g, 42cc

SJ154	AnalyST Accel VR CD1219-36	Single Chamber Cardioverter Defibrillator with RF Telemetry and ST Segment Monitoring	79g, 41cc

SJ156	SJM Epic Valve	Triple composite bioprosthetic heart valve	Aortic valve 21-29mm tissue annulus diameter

14-20 total height

Mitral Valves 25-33mm tissue annulus diameter

15-20mm total height

SJ157	Durata 7120, 7121, 7122, 7130, 7131	Active fixation bipolar, dual-coil/single coil Steroid-eluting Endocardial Defibrillation 	60, 65, 75cm

Leads

SJ158	Durata 7170, 7171	Passive fixation, true bipolar, dual coil, steroid eluting, endocardial defibrillation leads 	60, 65 and 70cm

with Optium insulation overlay

SJ159	SJM Confirm Model DM2100	Implantable cardiac monitor	6.5cc, 12g

Neurosurgical

SJ148	Libra Deep Brain Stimulation System  - Leads 6142 - 6149	DBS Leads 6142-6145 1.5mm electrode and space 1.5mm; 6146-6149 1.5mm electrode	25-40cm

and 0.5mm space

SJ149	Libra Deep Brain Stimulation System - Lead Extensions 6345 and 6346	4 Channel DBS Lead Extension	50-60cm

SJ160	ANS Spinal Cord Stimulation System (SCS)	Lead Extensions - in addition to 3341, 3342, 3343, 3382 and 3383, additional model 	60cm length

3346 - Dual Quad Extension and 3386 - single octrode extension

SJ161	ANS Spinal Cord Stimulation System (SCS)	Octrode Lead. 8 Electrode (thoracic or cervical placement).	30cm, 60cm, 90cm 110cm

SJ162	ANS Spinal Cord Stimulation System (SCS)	Quattrode Lead. 4 Electrode.	30cm, 60cm, 90cm 110cm

SJ163	ANS Spinal Cord Stimulation System (SCS) RENEW	Dual Receiver 16 Channel (2 x 8 channel)	One size only

SJ164	ANS Spinal Cord Stimulation System (SCS) RENEW	Single Receiver. 8 Channel (1 x 8) 	One size only

SJ165	ANS Spinal Cord Stimulation System (SCS)	Trial Lead. Temporary Screening Lead	30cm, 60cm

SJ166	ANS Spinal Cord Stimulation System (SCS) RENEW	Transmitter Kit 16 Channel	One size only

SJ167	ANS Spinal Cord Stimulation System (SCS) RENEW	Transmitter Kit 8 Channel	One size only

SJ168	ANS Spinal Cord Stimulation System (SCS)	Lamitrode Plate Electrode	60cm, 90cm, 110cm

SJ169	ANS Spinal Cord Stimulation System (SCS)	Lamitrode Dual 8 Plate Electrode Lead	One size only

SJ170	ANS Spinal Cord Stimulation System (SCS)	Boots, Connectors, Anchors, Strain Relief	One size only

SJ171	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis Model 3608	One size only

SJ172	ANS Spinal Cord Stimulation System (SCS) GENESIS	Patient Programmer Model 3850	One size only

SJ173	ANS Spinal Cord Stimulation System (SCS) GENESIS	Communication Magnet Model 1210	One type only

SJ174	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis G4 Model 3604	One Size Only

SJ175	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis XP Model 3609	One Size Only

SJ176	ANS Spinal Cord Stimulation System (SCS) GENESIS	Implantable Pulse Generator - Genesis XP Dual Model 3644	One Size Only

New Products for Prostheses List Report	Page 30 of 39

Billing Code	Product Name	Further Description	Size

SJ177	ANS Spinal Cord Stimulation System (SCS) GENESIS	QuikLink Patient Programmer Model 3860	One Size Only

SJ178	A127 Lead Extension	A127 Lead Extension	15cm, 40cm, 60cm, 90cm

SJ179	Genesis RC Rechargeable IPG	Genesis RC (IPG) Neurostimulation System	70mm

SJ180	Genesis RC Rechargeable IPG	Genesis RC Dual 4 (IPG) Neurostimulation System	76mm

SJ181	Genesis RC Rechargeable IPG	External Charging System	.

SJ182	Eon Neurostimulation System	Eon Neurostimulation Implantable Pulse Generator #3716	Height = 59mm

SJ183	Eon Neurostimulation System	Eon Programmer #3851	.

SJ184	Lamitrode S Series Leads	Lamitrode S Series, 8 Channel, Model # 3283	Length = 30cm

SJ185	Lamitrode S Series	Lamitrode S Series, 8 Channel, Model # 3286	Length = 60cm, 90cm, 110cm

SJ186	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 3243	Length = 30cm

SJ187	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 3246	Length = 60cm, 90cm, 110cm

SJ188	Lamitrode C Series Leads	Lamitrode C Series, 8 Channel, Model # 3245	Length = 60cm, 90cm, 110cmm

SJ189	Axxess Permanent Lead	Axxess Quad Lead:  7mm - Model #4044, 9mm - Model # 4054	Length - 45cm

SJ190	Axxess Permanent Lead	Axxess Quad permanent Lead:  7mm - Model #4143 & 4146, 9mm- Model # 4153 & 	Length 30 - 60cm

4156

SJ191	Lamitrode C Series Leads	Lamitrode C Series, 16 Channel, Model # 3289	Length = 60cm

Vascular

SJ155	Angio-Seal Evolution	Haemostatic Puncture Closure Device 6F-8F	6F and 8F

Stryker Australia Pty Ltd

Neurosurgical

HW405	Xia Spine System	Hooks	Laminar and Pedicle Hooks

SK502	Trio Spinal Fixation System	Screw	Diameter: 4.5 - 8.5mm

Length: 25 - 60mm

Standard and Long Post

SR084	Reflex Anterior Cervical Plate System	Plate	>55mm

SR085	Reflex Anterior Cervical Plate System	Plate	≤55mm

Orthopaedic

SK499	Stryker Locking Plate system	Variable angle locking plate for olecranon fractures	4-8 hole

SK500	Restoration Anatomic Dual Mobility Acetabular Cup	The Restoration ADM Acetabular Cup is part of the Restoration ADM system	Available in left and right configurations ranging in outer diameter sizes from 48mm -

64mm Inserts are 0 degree with an inner diameter of 28mm

SK501	Restoration Anatomic Dual Mobility Polyethylene Insert	The polyethylene insert for the Restoration ADM component articulates with the highly 	42mm - 58mm  Inserts are 0 degrees with an inner diameter of 28mm

polished inner surface of the Restoration ADM cup and is articul;ated with a standard

cobalt-chrome or ceramic 28mm diameter femoral head

SR083	Triathlon PKR - Cemented Femoral Component	Triathlon PKR - Uni Femoral Component, CoCR, Cemented	12 -Femurs in total: 1 through to 6, Left Media/Right lateral + 1 through to 6, Right

Media/Left Lateral

New Products for Prostheses List Report	Page 31 of 39

Billing Code	Product Name	Further Description	Size

Surgiplas Medical

Orthopaedic

SP064	Osteovation	Calcium Phosphate Bone substitute kit, quick set, EX/Impact/Inject	2-3cc

SP065	Osteovation	Calcium Phosphate Bone sbustitute kit; Quick Set; EX/Impact/Inject	5cc

SP066	Osteovation	Calcium Phosphate Bone substitute kit; Quick Set; EX/Impact/Inject	10cc

Plastic and Reconstructive

SP067	Plates	Micro, Mini, Maxi	16 Hole Straigh Plate, 1.0mm thinck, Plate 15 to 32 holes

SP068	Plates	Micro, Mini, Maxi	Mesh 50mm x 74mm Mesh 26 to 50cm2 area

SP069	Plates	Micro, Mini, Maxi	Angled EDC Plate, Angled Long EDC Plate, 40mm 6 Hole Fracture Plate, 6 Hole Curved

EDC Plate, 33mm & 38mm 4 Hole EDC Plate, 48mm 6 Hole EDC Plate, Mandible,

Mandible Angle

SP070	Plates	Micro, Mini, Maxi	Gap Plates, Plates 4 to 7 holes

SP071	Plates	Micro, Mini, Maxi	Quad Plates, Medium 2 x 4 Hole Quad Plate, Plates 8 to 15 holes

SP072	Plates	Micro, Mini, Maxi	Burr Hole Plates, Calvarium Plate - Small & Large - Caivarium Plate, Plates 4 to 7 Holes

SP073	Plates	Micro, Midface, Mini, BSSO, TR BSSO	2 x 3 Hole Quad Plate, Plate 4 to 7 holes.

SP074	Plates	Micro, Midface, Mini, BSSO, TR BSSO	4 Hole BSSO Plate Short, Medium, Long; TR BSSO Plate, Short, Long; 4 & 6 Hole

Straight Plate 1.0mm thick, Plate 4 to 7 holes.

SP075	Plates	Micro, Midface & Mini	Straight Plate - 2 Hole, Plate < 4 holes.

SP076	Plates	Micro, Midface & Mini	Straight Plate - 2 Hole, Plate < 4 holes.

SP077	Plates	Micro, Midface & Mini	Quad Plate, Quad Plate - Short, Plate 8 to 15 holes.

SP078	Plates	Micro, Mini	Mesh Sheet 100mm x 74mm Mesh 51 to 100cm2 area

SP079	Plates	Micro, Mini	Orbital Plate, Orbital Plate Large

SP080	Plates	Micro, Mini	Mesh 50mm x 37, 36 x 50mm, Mesh 11 to 25cm2 area

SP081	Plates	Micro, Mini	40 Hole Straight Plate, Mesh 18 row, Plate >32 holes.

SP082	Plates	Micro, Mini	Sub - Temporal Plates, Plates 8 to 15 Holes

SP083	Plates	Mini & Maxi	16 & 18 Hole Straight Plate, 18 Hole Straight Plate, Plates 15 to 32 Holes

SP084	Plates	Mini & Maxi	4 & 5 Hole compression Plates 4 to 7 Holes

SP085	Plates	Mini & Maxi	Curved Plate, 8 Hole Straight Plate; Mini : 10 Hole Straight Plate,  Extended Y Plate,

Rigid 10 Hole Straight Plate, 12 Hole Straight Plate, Y Plate - 13 Hole, 12 Hole Curved

Plate, 10 Hole Straight Plate; 10 Hole Curved Plate, Straight Plate 10 Hole, Y Plate 11

hole, Plates 8 to 15 holes.

SP086	Plates	Mini & Maxi	12 Hole Straight Plate 1.0 mm thick, 8 Hole Straight Plate 1.0 mm thick, Plates 8 to 15

holes

New Products for Prostheses List Report	Page 32 of 39

Billing Code	Product Name	Further Description	Size

SP087	Plates	Mini & Maxi	Zygomatic Plates, Pyriform Plates, Orthognathic, Y Plates, Y Plate, H Plate, 5 Hole

straight plate, 13mm & 16mm L Plate - Left & Right, 19mm T Plate, X Plate; 10mm

Square Plate; 13mm, 15mm & 22mm L Plate - Left & Right, 9mm & 11mm ZED Plate

- Left & Right,  4 Hole I Plate, 18mm 4 Hole Straight Plate, 4 & 6 Hole Straight Plate,

Square Plate, X Plate Extended. Double Y Plate Extended; X Plate; Midface: 15mm 5

Hole Y Plate,  Double Y Plate,  Straight Plate 5 Hole, 15mm, 18mm & 23mm L Plate

Right & Left, 26mm Y Plate, 15mm & 20mm Z Plate Right & Left, 24mm Straight

Plate, 16mm I Plate, 22mm T Plate, Rigid 15mm, 18mm & 23mm L Plate Right & Left,

Rigid 26mm Y Plate, 15mm & 20mm Z Plate Right & Left, Rigid 24mm Straight Plate,

Rigid 16mm I Plate, Rigid Double Y Plate, Plates 4 to 7 holes.

SP088	Screws	Micro, Maxi & Self Drilling	"Size1.2mm self-drilling screws, 1.2mm x (2 - 14)mm, Screws diameter < 1.24mm"

SP089	Screws	Micro, Maxi & Self Drilling	"Size1.6mm x (4-8)mm self-drilling screws,1.5mm Safety ,Screws diameter  1.25-

1.75mm"

SP090	Screws	Micro, Maxi & Self Drilling	"Size2.0mm x (4-8)mm self-drilling screws,1.9mm Safety ,Screws diameter  1.75-

2.24mm"

SP091	Screws	Micro, Maxi & Self Drilling	2.4mm x (4-22)mm self-drilling screws, 2.7mm x (8-20)mm; 2.7mm Safety Screws,

diameter 2.25-2.74mm

SP092	Osteo Plating & Fixation System	Plates - Reconstruction	5 x 20 x 5 Hole Full Mandible Plate; 5 x 16 x 5 Hole Full Mandible Plate; Mandible, Full

SP093	OsteoMed Plating & Fixation System	Plates - Reconstruction	Mesh Malleable/Ridgid, 74 x 50mm, Mesh, 0.5 to 0.8mm thick, 26 to 50cm3 area

SP094	OsteoMed Plating & Fixation System	Screws	2.4mm x (6-22)mm Locking Screws, Screws 2.25-2.74mm

SP095	OsteoMed Plating & Fixation System	Screws	Locking Screw Inserts, Other ancillary

SP096	OsteoMed Plating & Fixation System	Screws	MMF / Anchorage Screws 1.2/1.6/2.0mm Anchor, Bone

SP097	Bioresorbable Fixation System	Screws	1.6 x (4-8)mm, 4 pack; Screws 1.25-1.74mm

SP098	Bioresorbable Fixation System	Screws	2.0 x (4-8)mm, 4 pack; Screws 1.75-2.24mm

SP099	Bioresorbable Fixation System	Plates	Comminution Plate, Plates 1.0 to 1.99mm thick, >32 holes

SP100	Bioresorbable Fixation System	Plates	20 x 30mm Mesh, Mesh >0.8mm thick, 1 to 10 cm2 area

SP101	Bioresorbable Fixation System	Plates	Neuro Fixation Set

SP102	Bioresorbable Fixation System	Plates	L Plate Left & Right, "T" Plate, Double "Y" Plate Short, 4 Hole straight Plate, Square

Plate, Plates 4 to 7 holes

SP103	Bioresorbable Fixation System	Plates	Y Plate Long, 8 Hole straight Plate, Plates 8 to 15 holes

SP104	Bioresorbable Fixation System	Plates	Orbital Plate, Plates 8 to 15 holes

SP105	OsteoMed Plating & Fixation System	Plates	50 x 50mm Bioresorbable Mesh; Mesh 11 to 25 cm2 area

SP106	OsteoMed Plating & Fixation System	Plates	111 x 191mm Mesh Plate, Mesh > 200cm2 area.

SP107	OsteoMed Plating & Fixation System	Plates	40 x 40mm Osteoform Mesh, Mesh 11 to 25cm2 area.

SP108	OsteoMed Plating & Fixation System	Plates	40 x 40mm Osteoform Mesh, Mesh 11 to 25cm2 area.

SP109	OsteoMed Plating & Fixation System	Plates	90 x 90mm Osteoform Mesh, Mesh 51 to 100cm2 area.

SP110	OsteoMed Plating & Fixation System	Plates	90 x 90mm Osteoform Mesh, Mesh 51 to 100cm2 area.

New Products for Prostheses List Report	Page 33 of 39

Billing Code	Product Name	Further Description	Size

SP111	OsteoMed Plating & Fixation System	Plates	100 x 100mm Bioresorbable Mesh, Mesh 51 to 100cm2 area.

SP112	OsteoMed Plating & Fixation System	Plates	125 x 180mm Mesh Plate, 150 x 300mm Mesh Plate, Mesh >200cm2 area..

SP113	OsteoMed Plating & Fixation System	Plates	90 x 90mm, 95 x 165mm, & Large Pre-formed Osteoform Mesh, Cranium.

Synthes Australia Pty Ltd

Neurosurgical

SY447	Spinal Fixation System	Universal Reduction Screw	4.0mm - 9.0mm Diameter; 20mm-100mm Length

SY448	Spinal Fixation System	Locking Cap	One Size

SY449	Cervical Spine Locking Plate (CSLP) System	QuickLock Screw	4.0 or 4.5mm Diameter, 12-20mm Length

SY453	Oracle	Lumbar Interbody Fusion Cage	40-55mm M/L x 22mm A/P, 9-17mm Height

SY454	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	>55

SY455	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	≤55

SY458	Vectra T Anterior Spinal System	Titanium	>55

SY459	Vectra T Anterior Spinal System	Titanium	≤55

SY460	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar and Sacral Spine	Diameter, 4.0mm to 10mm.

Length, 20mm to 120mm

SY461	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar and Sacral Spine, Cannulated	Diameter, 4.0mm to 10mm.

Length, 20mm to 120mm

SY462	Posterior Cervical Plate System	Cervical Spine Reconstruction Plate	≤55

SY463	Posterior Cervical Plate System	Cervical Spine Reconstruction Plate	>55

SY464	Cervical Spine Locking Plate (CSLP) System	VA Plate	≤55

SY465	Cervical Spine Locking Plate (CSLP) System	VA Plate	>55

SY519	Vectra Anterior Spinal System	Cervical Plate	>55

SY520	Vectra Anterior Spinal System	Cervical Plate	≤55

Orthopaedic

SY450	chronOS ß-TCP	Porous  ß-Tricalcium Phosphate Bone Graft Substitute & Resorbable Polymer - Strip	50 mm x25 mm x 3 mm

SY451	chronOS ß-TCP	Porous ß-Tricalcium Phosphate Bone Graft Substitute & Resorbable Polymer - Strip	50-100 mm x25 mm x 3-6 mm

SY452	chronOS ß-TCP	Porous ß-Tricalcium Phosphate Bone Graft Substitute & Resorbable Polymer - Strip	100 mm x25 mm x 6mm

SY456	Cervical Spine Locking Plate (CSLP) System	Small Stature Plate	>55

SY457	Cervical Spine Locking Plate (CSLP) System	Small Stature Plate	≤55

Plastic and Reconstructive

SY466	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm > 32 holes

SY467	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes

New Products for Prostheses List Report	Page 34 of 39

Billing Code	Product Name	Further Description	Size

SY468	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes

SY469	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes

SY470	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes

SY471	CMF fracture or reconstruction plate	Titanium mandibular locking reconstruction plates	2.0 to 2.99mm 15 to 32 holes

SY472	CMF fracture or reconstruction plate	Titanium mandibular locking reconstruction plates	2.0 to 2.99mm > 32 holes

SY473	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes

SY474	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes

SY475	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm < 4 holes

SY476	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 15 to 32 holes

SY477	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes

SY478	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm < 4 holes

SY479	Mesh Plate	Titanium malleable mesh plates	<0.2mm-0.49mm, 11-25 cm2

SY480	Mesh Plate	Titanium malleable mesh plates	0.4mm > 200cm2 205x205

SY481	Oribital Floor Mesh Plate	Titanium orbital floor mesh plates	<0.5mm

SY482	Mesh Plate	Titanium rigid mesh plates	0.6mm < 200cm2

SY483	Mesh Plate	Titanium rigid mesh plates	0.6mm > 200cm2

SY484	Mesh Plate	Titanium rigid mesh plates - complex shape	0.6mm

SY485	Mesh Plate	Titanium malleable mesh plates	0.2mm-0.4mm, 1-10cm2

SY486	CMF fracture or reconstruction plate	Titanium mandible locking plate - complex	1.0 to 1.99mm 4 to 7 holes

SY487	CMF fracture or reconstruction plate	Titanium mandible locking plate	1.0 to 1.99mm 8 to 15 holes

SY488	Mesh Plate	Titanium Contourable mesh plate	<0.2 to 0.49mm 51 to 100cm2

SY489	Mesh Plate	Titanium Contourable mesh plate	0.5 to 0.8mm 51 to 100cm2

SY490	Mesh Plate	Titanium Contourable mesh plate - mastoid	<0.2 to 0.49mm, >25cm2

SY491	CMF fracture or reconstruction plate	Titanium Mandibular locking reconstruction plates - complex shape	1.0 to 1.99 4 to 7 holes

SY492	CMF fracture or reconstruction plate	Titanium Mandibular locking reconstruction plates - complex shape	1.0 to 1.99mm 8 to 15 holes

SY493	CMF fracture or reconstruction plate	Titanium Mandibular locking reconstruction plates - complex shape	1.0 to 1.99 15 to 32 holes

SY494	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99 4 - 7 holes

SY495	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99mm 16 - 32 holes

SY496	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile neurosurgical plates	0.5 to 0.99mm 8 - 15 holes

SY497	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 8 to 15 holes

SY498	CMF fracture or reconstruction plate	Mandible Plate, non-locking	1.0 to 1.99mm thick, 4 to 7 holes

SY499	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 4 to 7 holes

SY500	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 15 to 32 holes

SY501	CMF fracture or reconstruction plate	Mandible Plate, non-locking	>3mm thick, 15 to 32 holes

SY502	PolyMax Resorbable Fixation System	Polyactide Resorbable Screw/Tack	1.5mm dia

New Products for Prostheses List Report	Page 35 of 39

Billing Code	Product Name	Further Description	Size

SY503	PolyMax Resorbable Fixation System	Polyactide Resorbable Screw/Tack	2.0/2.5mm dia

SY504	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick, 4 to 7 holes

SY505	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick, 8 to 15 holes

SY506	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, <4 holes

SY507	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, 4 to 7 holes

SY508	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, 8 to 15 holes

SY509	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick, 15 to 32 holes

SY510	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick,15 to 32 holes

SY511	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick,> 32 holes

SY512	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick,<4 holes

SY513	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick,15 to 32 holes

SY514	CMF Rapid Resorbable fracture or reconstruction Plate	Sterile Rapid resorbable reconstruction plate	0.5 to 0.99mm thick,> 32 holes

SY515	Midface Distractor System	Distractor System, Distractor Body	10-40mm distraction length

SY516	Midface Distractor System	Distractor System, Assembly,Footplate	6-25mm

SY517	Midface Distractor System	Distractor System, Screw	4-10mm

SY518	Midface Distractor System	Distractor System , Body extentions	20-40mm

Tornier Pty Ltd

Orthopaedic

TO048	Aequalis Reversed fracture-standard	Monobloc Humeral Stem CoCr and HA Coated proximally	Length 130mm Dia 7 9 11 13 15

TO049	Aequalis Reversed Fracture Shoulder - Revision	Monobloc Humeral Stem CoCr and HA coated proximally	Length 170, 180 or 210mm Dia 7 9 11 13mm

Uromedica Asia-Pacific Pty Ltd

Urogenital

UO001	Adjustable Continence Therapy for Women	ACT Device: Prosthesis designed for the treatment of female SUI comprising of a single	6 - 14cm

silicone balloon attached via a conduit to titanium and rubber ports allowing for post

operative adjustment.

UO002	Adjustable Continence Therapy device for women	ACT Device: prosthesis designed for the treatment of female SUI comprising of silicone 	6 - 14cm

balloons x 2 attached via a conduit to titanium and rubber ports allowing for post

operative adjustment.

UO003	Adjustable Continence Therapy for Men	ProACT Device: prosthesis designed for the treatment of male SUI comprising of 	6 - 14cm

silicone balloons x2 attached via a conduit to titanium and rubber ports allowing for post

operative adjustment.

UO004	Adjustable Continence Therapy for Men	ProACT Device: Prosthesis designed for the treatment of male SUI comprising of a 	6 - 14cm

single silicone balloon attached via a conduit to titanium and rubber ports allowing for

post operative adjustment.

New Products for Prostheses List Report	Page 36 of 39

Billing Code	Product Name	Further Description	Size

W L Gore & Associates

Cardio-thoracic

GT223	Helex 1.5 Septal Occluder	The GORE HELEX Septal Occluder consists of an implantable endoprosthesis and a 	Diameters: 15, 20, 25, 30 and 35mm

catheter delivery system.  The Occluder is comprised of a nickel-titanium (Nitinol) wire

frame covered with expanded polytetrafluoroethylene (ePTFE).  The ePTFE is treated

with a hydrophilic coating to facilitate echocardiographic imaging of the Occluder during

implantation.  When fully deployed, the Occluder assumes a double disc configuration

that bridges the septal defect to precent shunting of blood between the right and left atria

(Figure 1a, b).  The delivery system consists of three distal co-axial components

transitioning to a parallel component arrangement at the proximal Y-arm hub: a 10 Fr

Green Delivery Catheter, a Gray Control Catheter and a Tan Mandrel (Figure 2).  The

proximal end of the Conotrol Catheter exits the Y-arm hub and is terminated by a Red

Retrieval Cord Cap.  The proximal end of the Mandrel exits the side port of the Y-arm

hub and is terminated by a Clear Leur.  The Control Catheter is equipped with a retrieval

cord if Occluder repositioning or retrieval is deemed necessary (Figure 2).  A 0.035"

guidewire channel is incorporated into the distal end of the Delivery Catheter.

General/Miscellaneous

GT224	GORE SEAMGUARD® Bioabsorbable Staple Line Reinforcement	As packaged, GORE SEAMGUARD Bioabsorbable Staple Line Reinforcement 	Ethicon Endo-Surgery Endopath ETS45; Ethicon Endo-Surgery Endopath ETS45;

constitutes preformed porous bioabsorbable sheets held into the form of sleeves (one 	Ethicon Endo-Surgery Endopath EZ45; Ethicon Endo-Surgery Endopath Echelon 45,

cartridge device, one anvil device) through the use of a non-absorbable polyester braided	Ethicon Endo-Surgery Endopath Echelon 60; Ethicon Endo-Surgery Endopath ETS Flex

suture. A TYVEKR insert, which is removed and discarded after positioning on the 	60; USS Endo GIA Universal Straight 45; USS Endo GIA Universal Roticulator 45; USS

stapler, is included to facilitate the placement of the device onto the jaws of the surgical 	Endo GIA Universal Straight 45; USS Endo GIA Universal Roticulator 45; USS Endo

staplers. After deployment of the stapler/reinforcement material combination, the non-	GIA Universal Straight 60; USS Endo GIA Universal Roticulator 60; USS Endo GIA

absorbable suture component is removed and discarded. The implanted GORE 	Universal Straight 60; Endo GIA Universal Roticulator 60

SEAMGUARD Bioabsorbable Staple Line reinforcement is a porous fibrous structure

composed solely of synthetic bioabsorbable poly (glycolide; trimethylene carbonate)

copolymer.

GT228	GORE SEAMGUARD® Bioabsorbable Staple Line Reinforcement, Endoscopic Staplers	As packaged, GORE SEAMGUARD Bioabsorbable Staple Line Reinforcement 	Ethicon Endo-Surgery ENDOPATH 25 and PROXIMATE 25; Ethicon Endo-Surgery

constitutes preformed	ENDOPATH 29 and PROXIMATE 29; Ethicon Endo-Surgery ENDOPATH 33 and

PROXIMATE 33; Autosuture CEEA 25; Autosuture CEEA 28; Autosuture CEEA 31;

Autosuture CEEA 34; Autosuture DST Series CEEA 25; Autosuture DST Series CEEA

28; Autosuture DST Series CEEA 31; Autosuture DST Series CEEA 34

New Products for Prostheses List Report	Page 37 of 39

Billing Code	Product Name	Further Description	Size

Vascular

GT225	Gore Viabahn ® endoprosthesis with heparin bioactive surface	Gore Viabahn ® endoprosthesis with heparin bioactive surface is a flexible, self 	5mmx2.5cm VIABAHN 120cm CATH

expanding endoluminal device consisting of an ePTFE lining with external nitinol support	5mmx5cm VIABAHN 120cm CATH

6mmx2.5cm VIABAHN 120cm CATH

6mmx5cm VIABAHN 75cm CATH

6mmx5cm VIABAHN 120cm CATH

7mmx2.5cm VIABAHN 120cm CATH

7mmx5cm VIABAHN 75cm CATH

7mmx5cm VIABAHN 120cm CATH

8mmx2.5cm VIABAHN 120cm CATH

8mmx5cm VIABAHN 75cm CATH

8mmx5cm VIABAHN 120cm CATH

GT226	Gore Viabahn ® endoprosthesis with heparin bioactive surface	Gore Viabahn ® endoprosthesis with heparin bioactive surface is a flexible, self 	5mmx 15cm VIABAHN 120cm CATH

expanding endoluminal device consisting of an ePTFE lining with external nitinol support	6mmx 15cm VIABAHN 75cm CATH

6mmx 15cm VIABAHN 120cm CATH

7mmx 15cm VIABAHN 75cm CATH

7mmx 15cm VIABAHN 120cm CATH

8mmx 15cm VIABAHN 75cm CATH

8mmx 15cm VIABAHN 120cm CATH

GT227	Gore Viabahn ® endoprosthesis with heparin bioactive surface	Gore Viabahn ® endoprosthesis with heparin bioactive surface is a flexible, self 	5mm x 10cm VIABAHN 120cm CATH

expandinbg endoluminal device consisting of an ePTFE lining with external nitinol 	6mm x 10cm VIABAHN 75cm CATH

support	6mm x 10cm VIABAHN 120cm CATH

7mm x 10cm VIABAHN 75cm CATH

7mm x 10cm VIABAHN 120cm CATH

8mm x 10cm VIABAHN 75cm CATH

8mm x 10cm VIABAHN 120cm CATH

William A Cook Australia Pty Ltd

General/Miscellaneous

WC265	Surgisis Biodesign Inguinal Hernia Graft	Surgisis Biodesign Inguinal Hernia Graft is a biologically derived ([porcine] collagen 	10cm Width x 15cm Length.

matrix, non cross-linked and sterile graft material, that provides support for damaged

tissues and assists in host tissue regenration and remodelling of inguinal region defects.

WC266	Surgisis Biodesign Inguinal Hernia Graft	Surgisis Biodesign Inguinal Hernia Graft is a biologically derived ([porcine] collagen 	8cm Width tapering to pre-shaped bullet design one end x 15cm Length.

matrix, non cross-linked and sterile graft material, that provides support for damaged

tissues and assists in host tissue regenration and remodelling of inguinal region defects.

WC267	Cotton-Leung Biliary Stent Only	Cotton-Leung Biliary Stent Only	6 - 11.5 Fr; Length 3 - 20cm

WC268	Evolution Enteral Metal Stent	Enteral Metal Stent	Diameter 22 to 25mm body; 27 to 30mm flanges. Length: 6 to 12cm

WC269	Fusion Marathon Biliary Stent	Biliary Plastic Stent with anti-reflux sleeve preloaded on the OASIS delivery device	Stent diameter: 10FR; Lengths 5 to 15cm

WC270	Zilver Biliary Stent System	Self expanding metal biliary stent system	Diameters 6, 8, 10mm; Lengths 4, 6, 8 cm

WC271	Geenen Pancreatic Stent	Straight plastic pancreatic stent with or without ductal flaps	Diameter 3 - 10 Fr; length 2 - 15cm

New Products for Prostheses List Report	Page 38 of 39

Billing Code	Product Name	Further Description	Size

Plastic and Reconstructive

WC264	SYSTEM-  Doppler Blood Flow Monitoring System. COMPONENT - Cook-Swartz 	The Cook-Swartz Implantable Doppler Flow Probe is an implantable 20MHz Probe with 	Universal [one size]

Implantable Doppler Flow Probe	epoxy-coated Crystal and patented Silicone Cuff which provides continuous direct

vessel monitoring of microvascular anastomoses. A 30cm wire with external Retention

Tabs is attached to the 1mm diamter Crystal.

Urogenital

WC272	Ureteric Stent Set	Set includes soft Aqueous Coated (AQ) ureteric stent, positioner, with or without wire 	Multiple French Sizes, multi-length

guide

WC273	Ureteric Stent Set	Set includes soft Aqueous Coated (AQ) ureteric stent, positioner, with or without wire 	Multiple French Sizes and Lengths

guide

Zimmer Pty Ltd

Neurosurgical

ZI615	ARDIS LUMBAR INTERBODY SPINAL CAGE	A lumbar interbody fusion cage	H 8 to 16mm; W 9 & 11mm; L 22 to 34mm

ZI616	SEQUOIA PEDICLE SCREW SYSTEM	Polyaxial Screw	4.5mm - 8.5mm dia, 25mm-60mm length

ZI623	SEQUOIA PEDICLE SCREW SYSTEM	SpeedLink II Ti	Small, Medium, Large

ZI624	SEQUOIA PEDICLE SCREW SYSTEM	Sequoia Rod CP Ti	30mm - 510mm length

ZI625	SEQUOIA PEDICLE SCREW SYSTEM	Closure Top	One size only

ZI708	Universal Clamp	Universal Clamp	5.5mm

Orthopaedic

ZI617	Continuum Acetabular Shell	Trabecular Metal Acetabular Shell	40CC, 42DD, 44EE, 46FF, 48GG, 50HH, 5II, 54JJ, 56KK, 58LL, 60MM, 62NN,

64OO, 66PP, 68QU, 70RR, 72SS, 74TT, 76UU, 78VV, 80W

ZI618	Trilogy IT HA/TCP Acetabular System	Titanium mesh (fibre metal) with HA	40CC; 42DD; 44EE; 46FF,; 48GG; 50HH; 52II; 54JJ; 56KK' 58LL' 60MM' 62NN;

64OO; 66PP; 68QU; 70RR; 72SS; 74TT

ZI619	Continuum Acetabular System	Metasul Taper Liners	28mm DD28 to GG28; 32mm FF32 to II32; 36mm HH36 to TT36; 40mm JJ40 to W40

ZI620	Continuum Acetabular System	HXPE Liner (Highly Cross Linked) - Neutral, Elevated, Offset and Oblique	28mm Neutral - EE to QU; 32mm Neutral GG to VV; 36mm Neutral II to W; 40mm

Neutral KK to VV; 22mm Elevated - CC to FF; 28mm Elevated EE to QU; 32mm

Elevated GG to VV; 36mm Elevated II to VV; 28mm 7 mm Offset CC28 to QU28;

32mm 7mm Offset EE32 to QU32; 36mm 7mm Offset GG36 to VV36; 28mm Oblique

EE28 to II28; 32mm Oblique GG32 to VV32; 36mm Oblique II36 to VV36

ZI621	Continuum Acetabular System	Biolox Delta Taper Ceramic Liner	28mm: EE28 to HH28; 32mm: GG32 to JJ32; 36mm: II36 to TT36; 40mm: KK40 to

VV40

ZI622	Continuum Acetabular System	Screw Hole Plugs	Screw Hole Pack - Three Pack

Grand Total:	817 Records

New Products for Prostheses List Report	Page 39 of 39