Deleted Items for Prostheses List	December 2007

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Abbott Australasia Pty Ltd

Cardio-thoracic

AY013	JoStent F1 Coronary Stent	JoStent F1 Coronary Stent	9 - 26 mm x 2.5 - 4 mm	Deleted.

AY020	TriMaxx Coronary Stent	TriMaxx Coronary Stent	Length 8-28mm; Diameter 2.25-4.00mm	Deleted.

GU102	Stents 	Stents 	1.5mm - 8.0mm	Transferred to AY025.

GU105	Multilink Coronary Stent System	Multilink Coronary Stent System	Length 1.5mm - 8.0mm	Transferred to AY026.

Vascular

AY019	Xceed Self-expanding Stent System	Xceed Self-expanding Stent System	Diameter: 5 to 10mm. Length: 20 to 120mm	Deleted.

GU058	Dynalink Peripheral Self Expanding Stent System	Dynalink Peripheral Self Expanding Stent System	Lengths 80cm and 120cm, Sizes range  from 5mm x 	Deleted.

28mm to 10mm x 56mm

Advanced Biomedical Pty Ltd

General/Miscellaneous

AB006	Bioglue Surgical Adhesive - Applicator Tip Extender	Bioglue Surgical Adhesive - Applicator Tip Extender	One size only	Deleted.

AB014	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

AB016	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

AB017	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

AB019	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

AB021	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

AB022	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

AB063	Peri-Strips Dry	Peri-Strips Dry	One size only	Deleted.

Advanced Surgical Technologies

Orthopaedic

AD068	Surgibone	Surgibone	4/12 mesh, 12/20 mesh	Deleted.

AD070	Surgibone	Surgibone	50mm, 80mm, 100mm, 120mm, 33mm x 11mm x 	Deleted.

5.5mm

AD071	Surgibone	Surgibone	3 gram	Deleted.

AD072	Surgibone	Surgibone	10 gram	Deleted.

AD075	Surgibone	Surgibone	12mm, 13mm, 15mm	Deleted.

AD076	Surgibone	Surgibone	20mm x 20mm x 10mm, 20/30 Mesh	Deleted.

AD078	Surgibone	Surgibone	30x15x14mm, 16mm, 18mm, 20mm, 22mm	Deleted.

Deleted Items for Prostheses List Report	Page 1 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

AD081	Surgibone	Surgibone	40x2x6mm, 8mm,10mm, 50x2x6mm, 8mm, 10mm, 	Deleted.

12mm, 14mm, 30x10x14mm, 16mm, 18mm, 20mm,

22mm

AD082	Surgibone	Surgibone	55x25x10mm, 13mm, 15mm, 60x15x30mm	Deleted.

AD083	Surgibone	Surgibone	55mm x 15mm x 25mm, 50mm x 6mm, 8mm	Deleted.

Alcon Laboratories (Aust.) Pty Ltd

Ophthalmic

AL012	Alcon Acrysof Model MA30AC PC IOL, Alcon 	Alcon Acrysof Model MA30AC PC IOL, Alcon Acrysof	+10 to +30 D	Compressed into AL004.

Acrysof Model MA60AC PC IOL	 Model MA60AC PC IOL

AL026	AcrySof MN60AC	AcrySof MN60AC	+6 to +30 D	Compressed into AL025.

American Medical Systems

Urogenital

AM016	In-Fast Kit and InteMesh Sling System	In-Fast Kit and InteMesh Sling System	One size only	Deleted.

AM018	Straight-In Sacral Colpopexy System	Straight-In Sacral Colpopexy System	Shaft 28cm	Deleted.

AM024	BioArc TO Subfascial Hammock	BioArc TO Subfascial Hammock	One size	Deleted.

AM025	BioArc SP Sling Kit	BioArc SP Sling Kit	One size	Deleted.

Applied Medical Australia Pty Ltd

Urogenital

MH005	Ureteral Stents	Ureteral Stents	Outer dia 5F, length 14, 16, 18, 20, 22, 24, 26, 28cm;  	Deleted.

Outer dia 6F, length 22, 24, 26, 28, 30cm;  Outer dia

7F, length 22, 24, 26, 28, 30cm;  Outer dia 8F, length

22, 24, 26, 28, 30cm

Austofix

Orthopaedic

AX001	Austofix Intramedullary Nail	Austofix Intramedullary Nail	7mm and 8mm	Deleted.

AX002	Austofix Intramedullary Screws	Austofix Intramedullary Screws	3.5mm, 4.0mm & 4.5mm	Deleted.

AX004	Austofix Intramedullary Nail	Austofix Intramedullary Nail	8mm, 9mm, 10mm	Deleted.

AX005	Austofix Intramedullary Nail	Austofix Intramedullary Nail	10mm & 13mm 	Deleted.

AX006	Austofix Intramedullary Nail	Austofix Intramedullary Nail	120 & 130 Degree	Deleted.

AX007	Austofix Intramedullary Nail	Austofix Intramedullary Nail	13/10mm	Deleted.

AX008	Austofix Intramedullary Nail	Austofix Intramedullary Nail	10/9mm	Deleted.

AX010	Austofix Intramedullary Nail	Austofix Intramedullary Nail	13mm	Deleted.

AX011	Austofix Intramedullary Screws	Austofix Intramedullary Screws	5.5mm, 6.2mm, 6.5mm	Deleted.

AX014	Distal Radius Fracture Repair System	Distal Radius Fracture Repair System	Standard, left & right	Transferred to JJ618.

AX015	Distal Radius Fracture Repair System	Distal Radius Fracture Repair System	Narrow, wide, short, narrow-left & right	Transferred to JJ619.

Deleted Items for Prostheses List Report	Page 2 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

AX016	Distal Radius Fracture Repair System	Distal Radius Fracture Repair System	Standard, left & right	Transferred to JJ620.

AX017	Distal Radius Fracture Repair System	Distal Radius Fracture Repair System	Right, left, straight, Y	Transferred to JJ621.

AX018	Distal Radius Fracture Repair System	Distal Radius Fracture Repair System	2.5mm x 14-30mm	Transferred to JJ622.

AX019	Distal Radius Fracture Repair System	Distal Radius Fracture Repair System	2.5mm-3.5mm x 10-28mm	Transferred to JJ623.

AX030	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	 3 Hole, Left & Right & 4 Hole, Left & Right	Transferred to JJ624.

AX031	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	6 Hole, Left & Right	Transferred to JJ625.

AX032	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	11 Hole, Left & Right	Transferred to JJ626.

AX033	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	4mm x 20mm, 25mm, 30mm, 32.5mm, 35mm, 	Transferred to JJ627.

37.5mm, 40mm, 45mm, 47.5mm, 50mm, 52.5mm,

55mm, 57.5mm, 60mm, 62.5mm & 65mm

AX034	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	4mm x 20mm, 25mm, 30mm, 32.5mm &35mm	Transferred to JJ628.

AX035	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	4mm x 37.5mm	Transferred to JJ629.

AX036	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	4mm x 40mm, 45, 47.5mm, 50mm, 52.5mm, 55mm, 	Transferred to JJ630.

57.5mm, 60mm, 62.5mm, 65mm,

AX037	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38	Transferred to JJ631.

AX038	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38	Transferred to JJ632.

AX039	HI S3 Shoulder Fixation System	HI S3 Shoulder Fixation System	One size	Transferred to JJ633.

Austramedex (VIC) Pty Ltd

Ophthalmic

AR022	Medpor Coated Tear Drain	Medpor Coated Tear Drain	11 sizes, 3.5mm x 14mm to 3.5mm x 28mm	Deleted.

Plastic and Reconstructive

AR001	Nova Bone	Nova Bone	6cc/8g	Deleted.

AR017	Burr Hole Cover	Burr Hole Cover	Cover: 15 x 3 x 5mm, 29 x 7 x 14mm. Disk 14 x 	Deleted.

Bard Australia Pty Ltd

Urogenital

BA176	Tegress	Tegress	2.8mm vial	Deleted.

Biomet Australia Pty Ltd

Orthopaedic

BI027	Asian Hip System	Asian Hip System	7-13mm	Deleted.

BI028	Asian Hip System	Asian Hip System	28mm x (44-60mm)	Deleted.

BI029	Scientific Hip Prostheses System	Scientific Hip Prostheses System	6 sizes, 0-6	Deleted.

BI030	Scientific Hip Prostheses System	Scientific Hip Prostheses System	22, 26,28mm x (46-60mm) 	Deleted.

BI037	Rx90 Hip System	Rx90 Hip System	13-19mm	Deleted.

BI046	Biogroove Femoral Component	Biogroove Femoral Component	7-14mm	Deleted.

Deleted Items for Prostheses List Report	Page 3 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

BI065	Vision Acetabular System	Vision Acetabular System	9-19mm	Deleted.

BI146	AGC Knee System	AGC Knee System	60-75mm, 80-120mm,  63-83 mm, 63-83 mm	Deleted.

BI148	AGC Knee System	AGC Knee System	63-87mm	Deleted.

BI191	TRAC Knee System	TRAC Knee System	55-80mm	Deleted.

BI192	TRAC Knee System	TRAC Knee System	55-80mm	Deleted.

BI227	Kirschner Integrated Shoulder System	Kirschner Integrated Shoulder System	Stem 6.3 to 12.7mm Head 15-22mm	Deleted.

BI228	Kirschner Modular Shoulder	Kirschner Modular Shoulder	38-51mm	Deleted.

BI229	Kirschner Modular Shoulder	Kirschner Modular Shoulder	6.3 -15.9mm	Deleted.

BI230	Kirschner Modular Shoulder	Kirschner Modular Shoulder	Small, Std	Deleted.

BI693	Reach Revision Hip System	Reach Revision Hip System	Sizes 13 - 19 (L&R) by 250mm Length	Compressed into BI692.

BI694	Reach Revision Hip System	Reach Revision Hip System	Sizes 13 - 19  by 200mm Length	Compressed into BI692.

BI701	Par 5 Protrusio Acetabular System	Par 5 Protrusio Acetabular System	One size only	Compressed into BI700.

BI703	Par 5 Protrusio Acetabular System	Par 5 Protrusio Acetabular System	Short (L,R,N), Medium (L,R,N), Long (L,R,N)	Compressed into BI700.

BI790	Ascent Total Knee System	Ascent Total Knee System	X-Small to XX-Large	Deleted.

BI794	Ascent Total Knee System	Ascent Total Knee System	X-Small to XX-Large	Deleted.

BI795	Ascent Total Knee System	Ascent Total Knee System	X-Small to X-Large	Deleted.

BI796	Ascent Total Knee System	Ascent Total Knee System	X-Small to X-Large	Deleted.

BI906	TRAC Knee System	TRAC Knee System	59 -91mm	Deleted.

BI908	TRAC Knee System	TRAC Knee System	59 - 91mm	Deleted.

BI913	Rim Cup	Rim Cup	23 to 26mm	Deleted.

BI916	Rim Cup	Rim Cup	21 to 26mm	Deleted.

BI917	Rim Cup	Rim Cup	44 to 64mm	Deleted.

BI918	Helios Hip System	Helios Hip System	10 x 120mm to 20 x 280mm	Deleted.

BI919	Helios Hip System	Helios Hip System	40mm to 80mm	Deleted.

Plastic and Reconstructive

BI493	Small Fragment Titanium System	Small Fragment Titanium System	4 x 2 hole x (0.6mm, 1mm) height	Compressed into BI492.

BI495	Small Fragment Titanium System	Small Fragment Titanium System	(5-9) hole x 0.6mm height	Compressed into BI492.

BI496	Small Fragment Titanium System	Small Fragment Titanium System	(0.6mm or 1mm height) x (4-6 hole)	Compressed into BI492.

BI497	Small Fragment Titanium System	Small Fragment Titanium System	16 hole x 0.6mm height	Compressed into BI492.

BI515	Small Fragment Titanium System	Small Fragment Titanium System	1.2mm x (7 - 19) mm	Compressed into BI512.

BI520	Small Fragment Titanium System	Small Fragment Titanium System	1.7mm x (5 - 10) mm	Compressed into BI512.

BI523	Small Fragment Titanium System	Small Fragment Titanium System	1.7mm x (11 - 27) mm	Compressed into BI512.

BI525	Small Fragment Titanium System	Small Fragment Titanium System	(1.9mm or 2.5mm) x (5-6mm)	Compressed into BI512.

BI528	Small Fragment Titanium System	Small Fragment Titanium System	2.3mm x (6 - 23) mm	Compressed into BI512.

BI530	Small Fragment Titanium System	Small Fragment Titanium System	2.3mm x (25 - 33) mm	Compressed into BI512.

Deleted Items for Prostheses List Report	Page 4 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

BI532	Small Fragment Titanium System	Small Fragment Titanium System	(4-6 hole) x 1.25mm height	Compressed into BI492.

BI538	Small Fragment Titanium System	Small Fragment Titanium System	(5 or 7 hole) x (0.6mm or 1) mm height	Compressed into BI492.

BI541	Small Fragment Titanium System	Small Fragment Titanium System	(7 or 9 hole) x (1.0 or 1.25) mm height	Compressed into BI492.

BI544	Small Fragment Titanium System	Small Fragment Titanium System	(6 - 9 hole) x (1.0 or 1.25) mm height	Compressed into BI492.

BI546	Small Fragment Titanium System	Small Fragment Titanium System	6 hole x (1.00 or 1.25) mm height	Compressed into BI492.

BI551	Small Fragment Titanium System	Small Fragment Titanium System	13 hole, 1mm height	Compressed into BI492.

BI666	W Lorenz Osteosynthesis System	W Lorenz Osteosynthesis System	1.5mm x (3.5 - 15) mm	Compressed into BI671.

BI739	W.Lorenz Osteosynthesis System	W.Lorenz Osteosynthesis System	1.5mm system, Medium	Compressed into BI738.

BI745	TMJ System	TMJ System	2.7 mm (dia) x 8, 10, 12mm (lengths)	Compressed into BI742.

Biotronik Australia Pty Ltd

Cardio-thoracic

BT024	Philos DR Model 122450 Implantable Pacemaker	Philos DR Model 122450 Implantable Pacemaker	One size only	Deleted.

BT027	Philos SLR Model 122456 Implantable Pacemaker	Philos SLR Model 122456 Implantable Pacemaker	One size only	Deleted.

BT028	Philos SR Model 122459 Implantable Pacemaker	Philos SR Model 122459 Implantable Pacemaker	One size only	Deleted.

BT030	Philos SR-B Model 122610 Implantable Pacemaker	Philos SR-B Model 122610 Implantable Pacemaker	5/6mm port, One size only	Deleted.

BT036	PHILOS S Implantable Cardiac Pulse Generator Cat No 	PHILOS S Implantable Cardiac Pulse Generator Cat No 	One size only	Deleted.

122 453	122 453

BT055	Lexos A+	Lexos A+	One size only.	Deleted.

Boston Scientific Australia Pty Ltd

Endoscopic Products

BS064	Enteryx Procedure Kit	Enteryx Procedure Kit	Solution 10ml, DMSO 10ml, syringes 1ml (2), needles 	Deleted.

18 gauge x 1 1/2

General/Miscellaneous

BS075	Initial Enteral Feeding Kits (EndoVive): Gastrodome 	Initial Enteral Feeding Kits (EndoVive): Gastrodome 	Initial Enteral Feeding Kit: 18 to 24 Fr	Deleted.

Initial Gastrostomy Kit; One-Step Button Initial 	Initial Gastrostomy Kit; One-Step Button Initial

Placement Gastrostomy Kit; Thru-The-Peg J Tube	Placement Gastrostomy Kit; Thru-The-Peg J Tube

BS076	Replacement Enteral Feeding Devices (EndoVive): 	Replacement Enteral Feeding Devices (EndoVive): 	Replacement Enteral Feeding Devices: 12 to 28 Fr	Deleted.

Button Low-Profile Replacement Gastrostomy Tube, 	Button Low-Profile Replacement Gastrostomy Tube,

Mini Button	Mini Button

Vascular

BS013	Symphony Nitinol Stent	Symphony Nitinol Stent	Diameter x Length: 6-14mm x 22-60mm	Deleted.

BS036	Schneider Endovascular Grafts: Straight	Schneider Endovascular Grafts: Straight	Size: 6-16mm, 30-90mm	Deleted.

BS115	Nexstent Monorail	Nexstent Monorail	4-9mm, 30mm	Deleted.

Deleted Items for Prostheses List Report	Page 5 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

BR & CT Enterprises Pty Ltd

Ear, Nose & Throat

BC001	Titanium Head	Titanium Head	To suit blue or grey implants	Deleted.

BC004	Titanium PORP with Fixed Bell and Removable Head	Titanium PORP with Fixed Bell and Removable Head	Maximum lengths of 5.0mm (grey) and 5.5mm (blue) - 	Deleted.

adjustable in 1mm increments; 0.3mm diameter

BC007	Titanium Middle Ear Total Implant with Removable 	Titanium Middle Ear Total Implant with Removable 	Maximum lengths of 7.0mm (grey) and 7.5mm (blue) - 	Deleted.

Shoe or Head	Shoe or Head	adjustable in 1mm increments; 0.3mm and 0.4mm in

diameter

BC008	Titanium Middle Ear Total Implant with Adjustable Head	Titanium Middle Ear Total Implant with Adjustable 	Maximum lengths of 7.0mm (grey) and 7.5mm (blue) - 	Deleted.

Head	adjustable in 1mm increments; 0.4mm diameter

BC009	Titanium Shoe	Titanium Shoe	To suit blue or grey implants	Deleted.

Cochlear Limited

Plastic and Reconstructive

CO034	Face to Face	Face to Face	10mm	Deleted.

ConMed Linvatec Australia Pty Ltd

Endoscopic Products

LV098	Niti-S Biliary ComVi Stent	Niti-S Biliary ComVi Stent	18mm & 10mm Diameter.  5cm - 12cm Length	Deleted.

Corin  Australia Pty Ltd

Orthopaedic

CR068	Alpha Cera Fit Hip (Stem) Prostheses 12-14 Taper	Alpha Cera Fit Hip (Stem) Prostheses 12-14 Taper	8mm - 22mm Diameters; 128mm - 176mm Lengths; 	Deleted.

Standard and Proximally Modified

CR076	Oxford Universal Hip System	Oxford Universal Hip System	Extra small to Large	Deleted.

CR077	Oxford Universal Hip System	Oxford Universal Hip System	Extra small to Large	Deleted.

CR078	Oxford Universal Hip Stem	Oxford Universal Hip Stem	10mm-20mm diameter,120-250mm length	Deleted.

CR079	Oxford Universal Hip System	Oxford Universal Hip System	One size only	Deleted.

CR080	Oxford Universal Hip System	Oxford Universal Hip System	22, 26, 28 & 32mm	Deleted.

CR081	Oxford Hip System	Oxford Hip System	One size only	Deleted.

CR083	Oxford Hip System	Oxford Hip System	300mm 60mm Split, Diameter 12-20mm	Deleted.

Darco Australia

Orthopaedic

DC005	Titanium Screw	Titanium Screw	16 - 40mm, diameter 3.5mm	Compressed into DC004.

DC006	Titanium Screw	Titanium Screw	34 - 38mm, diameter 3.5mm	Compressed into DC004.

DC008	Titanium Screw	Titanium Screw	8 - 26mm, diameter 2.7mm	Compressed into DC004.

DC009	Titanium Screw	Titanium Screw	8 - 26mm, diameter 2.7mm	Compressed into DC004.

Deleted Items for Prostheses List Report	Page 6 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

DC011	Twist-off	Twist-off	11 - 15mm, diameter 2.0mm	Compressed into DC010.

DC012	BOW Plate	BOW Plate	0 - 7mm	Compressed into DC001.

DC015	K Wire	K Wire	Diameter 1.2 - 2.0mm	Compressed into DC014.

DC016	K Wire	K Wire	Diameter 1.6 - 2.0mm	Compressed into DC014.

DC017	Orthner PIA Plate	Orthner PIA Plate	Flat, 2 - 8mm step	Compressed into DC001.

Design for Vision Pty Ltd

Ophthalmic

DV003	DORC Retinal Implants	DORC Retinal Implants	Bands 2 - 2.5mm, strips 2 - 4mm	Deleted.

DV013	DORC Retinal Implants	DORC Retinal Implants	2 - 2.5mm	Deleted.

DV014	DORC Retinal Implants	DORC Retinal Implants	0.76 x 1.65mm and 1 x 2.1mm	Deleted.

DV015	DORC Retinal Implants	DORC Retinal Implants	1 - 1.9mm thick, 7 - 11mm wide: 4 styles	Deleted.

DV016	DORC Retinal Implants	DORC Retinal Implants	3 - 5mm round, 3 - 5.5mm oval	Deleted.

Device Technologies Australia Pty Ltd

Mechanical Internal Wound Closure Products

DE004	SLS Clips 	SLS Clips 	Small - Large	Deleted.

DE005	SLS Clips 	SLS Clips 	Small, Medium, Large;   Height 3.6 - 9mm, Width 4.2 - 	Deleted.

8.4mm

DE098	SLS Clips	SLS Clips	Medium to large	Deleted.

DE206	SLS Clips	SLS Clips	Micro, Height 2.6mm, Width 3.1mm	Deleted.

Ophthalmic

DE207	Hanita EndoCapsular Ring (ECR)	Hanita EndoCapsular Ring (ECR)	One Size Only	Deleted.

DE227	LSO Silicone Oil	LSO Silicone Oil	Vial - 10 ml	Compressed into DE228.

DE229	LSO Silicone Oil	LSO Silicone Oil	Combo Pack with Syringe - 10 ml	Deleted.

Orthopaedic

DE226	B-Twin Vertebral Body Reconstruction System	B-Twin Vertebral Body Reconstruction System	Diameter - 11.5/13 - 15.5/17, length 25 - 27mm	Deleted.

Edwards Medical Supplies

Endoscopic Products

EW001	Endox Visu-Loc Clip Applier	Endox Visu-Loc Clip Applier	Medium, Large	Transferred to CK003.

Endocorp Pty Ltd

Urogenital

EC001	Hulka Clip	Hulka Clip	Deleted.

Deleted Items for Prostheses List Report	Page 7 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Endotherapeutics Pty Ltd

Endoscopic Products

ET035	Sinus-Esophageal Stent	Sinus-Esophageal Stent	Diameter 24-18-24mm, length 50,70,90,120mm; 	Deleted.

Diameter 26-20-26, length 50,70,90,120mm

General/Miscellaneous

ET018	Optimed Biliary Sinus Stent	Optimed Biliary Sinus Stent	4-12 x 30-100mm	Deleted.

ET019	Sinus-Flex Vascular-Biliary Stent	Sinus-Flex Vascular-Biliary Stent	4-12 x 40-80mm	Deleted.

ET020	Sinus-Endoflex-Biliary Sinus Stent	Sinus-Endoflex-Biliary Sinus Stent	40 x 7,8,9,10 mm; 60 x 7,8,9,10 mm; 80 x 7,8,9,10 mm	Deleted.

ET046	Parietene	Parietene	6cm x 11cm to 30cm x 30cm Single	Deleted.

ET047	Parietex	Parietex	7cm x 1.5cm to 20cm x 20cm Single	Deleted.

ET048	Parietene	Parietene	6cm x 11cm to 30cm x 32cm (3D) Single	Deleted.

ET049	Parietex	Parietex	12cm x 8cm to 30cm x 32cm (3D) Single	Deleted.

Orthopaedic

ET044	Resofix Anchor	Resofix Anchor	Resofix - S Anchor - 10mm; Resofix - P Anchor - 10mm	Transferred to GO170.

Urogenital

ET012	Optimed Ureteric Stents	Optimed Ureteric Stents	Ureteral 4.5 x 28,30,32 cm; 6 x 26,28,30,32 cm; 7 x 	Deleted.

26,28,30,32 cm. Paediatric Ureteral 8 x 28,30,32 cm.

Renal Transplantation 4 x 10,12,14,16 cm; 6 x

12,14,16 cm; 7 x 12,14,16 cm. Urinary Diversion 8 x

12,14,16 cm.

Vascular

ET025	Optimed Iliac Sinus Stent	Optimed Iliac Sinus Stent	4-12mm x 30-100mm	Deleted.

ET026	Optimed Femoral Sinus Stent	Optimed Femoral Sinus Stent	4-12mm x 30-100mm	Deleted.

ev3 Australia Pty Ltd

General/Miscellaneous

EE001	Protégé GPS Self-Expanding Nitinol Stent with Starport	Protégé GPS Self-Expanding Nitinol Stent with Starport 	20 - 150mm length, 6 - 12mm diameter	Deleted.

Delivery System	Delivery System

EE002	Primus Balloon Expandable Biliary Stent and Delivery 	Primus Balloon Expandable Biliary Stent and Delivery 	Stent Diameter - 5, 6, 7, 8mm; Stent Length - 12, 17, 	Deleted.

System	System	27, 37mm

EE003	Paramount Balloon Expandable Biliary Stent and 	Paramount Balloon Expandable Biliary Stent and 	Paramount Mini - Diameters 5, 6, 7mm  Length 14, 	Deleted.

Delivery System	Delivery System	18, 21mm; Paramount XS - Diameter 5, 6, 7, 8mm

Length 12, 17mm: Paramount - Diameter 3.8, 5, 6, 7,

8mm Length 16, 26, 36, 56, 76mm

Neurosurgical

EE010	NXT Detachable Coils	NXT Detachable Coils	Diameter 4-8mm/ length 10-30cm	Deleted.

EE011	NXT Detachable Coils	NXT Detachable Coils	Diameter 2-6mm/ Length 1-15cm	Deleted.

Deleted Items for Prostheses List Report	Page 8 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

EE014	NXT Detachable Coils	NXT Detachable Coils	Diameter 2/3, 2/4, 2/5, 2/6mm Length 2.2, 4.2, 6.0, 	Deleted.

8.5cm.

Vascular

EE005	Protégé Nitinol Stent	Protégé Nitinol Stent	Tapered 8 - 6, 9 - 6, 10 - 7mm; Straight 6-10mm	Compressed into EE006.

EE015	Protégé RX Stent	Protégé RX Stent	Straight 6-12mm	Compressed into EE006.

EE016	Protégé RX Stent	Protégé RX Stent	Tapered 8-6, 9-6, 10-7mm Straight 6-10mm	Compressed into EE006.

Five Corners Pty Ltd

Vascular

FC001	Endoluminal Stent Graft and Delivery System	Endoluminal Stent Graft and Delivery System	Dia 15-27mm, Length 87-189mm	Deleted.

Genzyme Australasia Pty Ltd

General/Miscellaneous

GE001	CV Seprafilm Cardiovascular Adhesion Barrier; 	CV Seprafilm Cardiovascular Adhesion Barrier; Seprafilm	One size only; 6 x 6 inch.	Deleted.

Seprafilm II.	 II.

GE002	SepraMesh Biosurgical Composite	SepraMesh Biosurgical Composite	3 x 6 inch	Deleted.

GE003	SepraMesh Biosurgical Composite	SepraMesh Biosurgical Composite	4 x 8 inch	Deleted.

GE004	SepraMesh Biosurgical Composite	SepraMesh Biosurgical Composite	6 x 8 inch	Deleted.

GE005	SepraMesh Biosurgical Composite	SepraMesh Biosurgical Composite	8 x 12 inch	Deleted.

Global Manufacturing Technology Pty Ltd

Orthopaedic

GM002	Lobe Lok System	Lobe Lok System	4 x 15mm to 4 x 30mm	Deleted.

GM003	Lobe Lok System	Lobe Lok System	small to large	Deleted.

GM004	Lobe Lok System	Lobe Lok System	single size	Deleted.

GM005	Lobe Lok System	Lobe Lok System	40 to 56mm	Deleted.

GM006	Lobe Lok System	Lobe Lok System	42 to 54mm	Deleted.

GM007	Lobe Lok system	Lobe Lok system	135 to 155mm	Deleted.

GM028	Lobe Lok System	Lobe Lok System	126 to 135	Deleted.

GM030	Lobe Lok System	Lobe Lok System	Size 1 to 3	Deleted.

GM096	Maxima/Optima Anterior Cervical Plate System	Maxima/Optima Anterior Cervical Plate System	4.5mm - 8.5mm length 25mm - 60mm	Deleted.

GM097	Maxima/Optima Anterior Cervical Plate System	Maxima/Optima Anterior Cervical Plate System	6.5mm - 11mm	Deleted.

Global Orthopaedic Technology

Orthopaedic

GO021	Consensus Knee System	Consensus Knee System	1-6 L & R	Deleted.

GO022	Consensus Knee System	Consensus Knee System	1-6 L & R	Deleted.

Deleted Items for Prostheses List Report	Page 9 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

GO023	Consensus Knee System	Consensus Knee System	1-6 L & R	Deleted.

GO024	Consensus Knee System	Consensus Knee System	a) 1-6 L & R; b) 1-6 L & R	Deleted.

GO025	Consensus Knee System	Consensus Knee System	1-6 L & R	Deleted.

GO026	Consensus Knee System	Consensus Knee System	1-6 L & R	Deleted.

GO027	Consensus Knee System	Consensus Knee System	1-2 to 5-6 L & R 10-18mm	Deleted.

GO028	Consensus Knee System	Consensus Knee System	a) 1-2 to 5-6 L & R 10-18mm; b) 1-2 to 5-6 L & R 	Deleted.

10mm-18mm

GO029	Consensus Knee System	Consensus Knee System	10mm sz 1-3	Deleted.

GO030	Consensus Knee System	Consensus Knee System	7.5mm sz 0-2; 10mm sz 1-3	Deleted.

GO041	Consensus Hip System	Consensus Hip System	15mm to 50mm	Deleted.

GO042	Consensus Hip System	Consensus Hip System	42mm to 68mm	Deleted.

GO043	Consensus Hip System	Consensus Hip System	38-58mm	Deleted.

GO044	Consensus Hip System	Consensus Hip System	44-66mm	Deleted.

GO045	Consensus Hip System	Consensus Hip System	46-66mm	Deleted.

GO046	Consensus Hip System	Consensus Hip System	38-58mm	Deleted.

Guidant Australia Pty Ltd

Cardio-thoracic

GU127	Multilink Coronary Stent System - Frontier	Multilink Coronary Stent System - Frontier	Length 1.5 - 8.0mm	Transferred to AY027.

GU128	Multilink Coronary Stent System - Vision	Multilink Coronary Stent System - Vision	Length 1.5 - 8.0mm	Transferred to AY028.

Gyrus Australasia Pty Ltd

Urogenital

GY087	Ureteral Stents	Ureteral Stents	6 - 8.5 F, 25-58cm	Deleted.

Hipokrat Australia Pty Ltd

Orthopaedic

HP011	Austin Moore Hip Prostheses	Austin Moore Hip Prostheses	Standard- Head Diam. 38mm-58mm, Stem Length 	Deleted.

127mm-154mm; Narrow - Head Diam. 38mm-58mm,

Stem Length 140mm-152mm

Hydron Pty Limited t/a CooperVision Surgical

Ophthalmic

HY001	AlphaCor A & P	AlphaCor A & P	AlphaCor A - Diameter 7mm, thickness 0.6mm, radius 	Deleted.

of curvature 8.0/8.0mm; AlphaCor P - Diameter 7.0,

thickness 0.6mm, radius of curvature 9.0/9.0mm

Deleted Items for Prostheses List Report	Page 10 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Incision Pty Ltd

Endoscopic Products

IP005	Durasphere GR	Durasphere GR	Syringe 1 ml	Deleted.

IP006	Durasphere GR	Durasphere GR	Syringe 3ml	Deleted.

General/Miscellaneous

IP007	Durasphere FL	Durasphere FL	Syringe 1ml	Transferred to TB377.

IP008	Durasphere FL	Durasphere FL	Syringe 3ml	Transferred to TB378.

IP010	Cousin Bioring Gastric Band	Cousin Bioring Gastric Band	27mm diameter	Transferred to CD049.

Urogenital

IP004	Durasphere SUI	Durasphere SUI	1ml	Transferred to TB376.

IP009	Durasphere SUI	Durasphere SUI	3ml	Transferred to TB379.

Johnson & Johnson Medical Pty Ltd

Orthopaedic

DP383	AMK Total Knee system	AMK Total Knee system	One size only	Deleted.

DP827	LCS Revision Knee system	LCS Revision Knee system	Size SM - LG+	Deleted.

Link Orthopaedics  Australia

Orthopaedic

LO049	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	Extra-small, small, medium & large	Deleted.

LO050	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	Extra-small, small, medium & large	Deleted.

LO051	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	Small & large	Deleted.

LO052	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	Extra-small, small, medium & large	Deleted.

LO053	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	Extra-small, small, medium & large	Deleted.

LO054	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	Extra-small, small, medium & large	Deleted.

LO055	T.A.C.K. Cementless Knee Joint System	T.A.C.K. Cementless Knee Joint System	Small 1, Small 2, Large 1, Large2	Deleted.

LO056	LINK T.A.C.K. Knee	LINK T.A.C.K. Knee	9- 16.5mm	Deleted.

LO065	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

LO069	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

LO073	LINK May Bone Plates	LINK May Bone Plates	80mm	Compressed into LO064.

LO074	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

LO078	LINK May Bone Plates	LINK May Bone Plates	80mm	Compressed into LO064.

LO079	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

LO083	LINK May Bone Plates	LINK May Bone Plates	80mm	Compressed into LO064.

LO084	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

Deleted Items for Prostheses List Report	Page 11 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

LO088	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

LO092	LINK May Bone Plates	LINK May Bone Plates	122mm	Compressed into LO064.

LO094	LINK May Bone Plates	LINK May Bone Plates	90mm	Compressed into LO064.

LO095	LINK May Bone Plates	LINK May Bone Plates	120mm	Compressed into LO064.

LO097	LINK May Bone Plates	LINK May Bone Plates	80mm	Compressed into LO064.

LO098	LINK May Bone Plates	LINK May Bone Plates	98mm	Compressed into LO064.

LO127	T.A.C.K. Cementless Knee Joint System	T.A.C.K. Cementless Knee Joint System	Small 1, Small 2, Large 1, Large2	Deleted.

Medical & Optical Instruments Australia Pty Ltd

Orthopaedic

MO151	Acumed Congruent Plate System	Acumed Congruent Plate System	6 to 7 hole	Deleted.

MO152	Acumed Congruent Plate System	Acumed Congruent Plate System	5 to 6 hole	Deleted.

MO160	Polarus Humeral Rod System	Polarus Humeral Rod System	200 to 300mm length	Deleted.

MO172	Dynamic Martin Screw	Dynamic Martin Screw	2 to 8 hole	Deleted.

MO173	Dynamic Martin Screw	Dynamic Martin Screw	10 to 12 hole	Deleted.

MO174	Dynamic Martin Screw	Dynamic Martin Screw	14 hole	Deleted.

MO175	Dynamic Martin Screw	Dynamic Martin Screw	50 to 120mm length	Deleted.

MO176	Dynamic Martin Screw	Dynamic Martin Screw	One size only	Deleted.

MO190	Acumed Congruent Plate System	Acumed Congruent Plate System	4 - 12 hole	Deleted.

Medical Specialties  Australia Pty Ltd

General/Miscellaneous

MS041	TiCOVER	TiCOVER	TiCOVER light	Deleted.

MS042	TiCOVER	TiCOVER	TiCOVER strong	Deleted.

Medical Vision Australia Pty Ltd

Vascular

MF005	Nit-Occlud Coil System	Nit-Occlud Coil System	Dia 4 x 4mm - 14 x 6mm	Deleted.

MF019	EVO Nitinol Stent	EVO Nitinol Stent	6, 7, 8, 9 & 10mm diameter; 20, 40, 60 & 80mm 	Deleted.

Medtronic Australasia Pty Ltd

Cardio-thoracic

MC018	Medtronic Sprint Lead Model 6942RV/SVC	Medtronic Sprint Lead Model 6942RV/SVC	65 - 100cm	Deleted.

MC019	Medtronic Gem DR Model 7271	Medtronic Gem DR Model 7271	 62cc	Deleted.

MC020	Medtronic Gem Model 7227Cx;  Gem Model 7227 	Medtronic Gem Model 7227Cx;  Gem Model 7227 	49cc, 40cc	Deleted.

Implantable Cardioverter Defibrillator	Implantable Cardioverter Defibrillator

MC025	Medtronic Sprint Lead Model 6932RV	Medtronic Sprint Lead Model 6932RV	65 - 100cm	Deleted.

Deleted Items for Prostheses List Report	Page 12 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

MC029	Medtronic Kappa 400 pacemaker Model KDR401	Medtronic Kappa 400 pacemaker Model KDR401	13.9cc	Deleted.

MC037	Medtronic Attain Cardiac Vein Pacing Lead Model 	Medtronic Attain Cardiac Vein Pacing Lead Model 	58 - 75cm: 85cm/75cm/110cm or 75-110cm; 	Deleted.

2187; Medtronic Coronary Sinus Pacing Lead Model 	2187; Medtronic Coronary Sinus Pacing Lead Model 	75cm/85cm

2188; Medtronic Attain SD Model 4189; Medtronic 	2188; Medtronic Attain SD Model 4189; Medtronic

Attain Side-Wire Model 4191	Attain Side-Wire Model 4191

MC201	Medtronic A/Asia Gem III VR Model 7231CX	Medtronic A/Asia Gem III VR Model 7231CX	One size only, 39.2cc	Deleted.

MC202	Medtronic Gem III DR Model 7275 Implantable 	Medtronic Gem III DR Model 7275 Implantable 	One size only, 39.5cc	Deleted.

Cardioverter Defibrillator	Cardioverter Defibrillator

MC227	Medtronic Gem III AT Model 7276 Implantable 	Medtronic Gem III AT Model 7276 Implantable 	39.5cc	Deleted.

Cardioverter Defibrillator	Cardioverter Defibrillator

MC237	Gem Model 7227B Implantable Cardioverter 	Gem Model 7227B Implantable Cardioverter Defibrillator	56cc	Deleted.

Defibrillator

MC238	Gem Model 7227D Implantable Cardioverter 	Gem Model 7227D Implantable Cardioverter 	53cc	Deleted.

Defibrillator	Defibrillator

MC239	Gem Model 7227EImplantable Cardioverter Defibrillator	Gem Model 7227EImplantable Cardioverter 	55cc	Deleted.

MC243	Medtronic Kappa KVDD 900 Model KVDD 901	Medtronic Kappa KVDD 900 Model KVDD 901	11.1cc	Deleted.

MC245	Marquis DR Model 7274 Implantable Cardioverter 	Marquis DR Model 7274 Implantable Cardioverter 	36cc	Deleted.

Defibrillator	Defibrillator

MC252	Medtronic InSync Marquis Implantable Cardioverter 	Medtronic InSync Marquis Implantable Cardioverter 	Volume 38cc	Deleted.

Defibrillator Model 7277	Defibrillator Model 7277

MC253	Medtronic Marquis VR 7230CX Implantable 	Medtronic Marquis VR 7230CX Implantable 	Volume 36cc	Deleted.

Cardioverter Defibrillator	Cardioverter Defibrillator

MC306	InSync III Marquis Model 7279	InSync III Marquis Model 7279	One size only - Volume 38cc	Deleted.

MC317	Maximo VR Model 7232Cx	Maximo VR Model 7232Cx	One size only 38.5cc	Deleted.

MC318	Maximo DR Model 7278	Maximo DR Model 7278	One size only 38.9cc	Deleted.

MC319	EnPulse VDD; Model E2VDD01	EnPulse VDD; Model E2VDD01	One size only	Deleted.

MC322	EnPulse DR Series: Model E2DR01, Model E2DR03, 	EnPulse DR Series: Model E2DR01, Model E2DR03, 	one size only	Deleted.

Model E2DR06, Model E2DR21, Model E2DR31, 	Model E2DR06, Model E2DR21, Model E2DR31,

Model E2DR33	Model E2DR33

MC331	Medtronic Sprint Lead Model 6943	Medtronic Sprint Lead Model 6943	58 - 100cm	Deleted.

MC333	Medtronic Kappa Pacemaker Model KDR 901, 	Medtronic Kappa Pacemaker Model KDR 901, KDR921	12.1cc, 11.1cc, 13.1cc	Deleted.

KDR921 and KDR931	 and KDR931

MC341	Medtronic Sprint Lead Model 6945	Medtronic Sprint Lead Model 6945	58 - 100cm	Deleted.

MC358	Intrinsic	Intrinsic	36cc, 75g	Deleted.

MC359	Intrinsic	Intrinsic	38cc, 76g	Deleted.

MC700	InSync Maximo	InSync Maximo	40cc, 35J	Deleted.

Neurosurgical

MC077	Medtronic quadripolar itrel II- 7424DBS Active 	Medtronic quadripolar itrel II- 7424DBS Active 	10-66 cm	Deleted.

implantable stimulators & ancillary equipment sterile	implantable stimulators & ancillary equipment sterile

MC345	Venture Anterior Cervical Plate	Venture Anterior Cervical Plate	20mm - 47mm	Deleted.

Deleted Items for Prostheses List Report	Page 13 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

MC380	Interfix C	Interfix C	Diameter range from 12 - 20mm, Length range from 	Deleted.

20 - 29mm

MC381	Affinity Cervical Cage	Affinity Cervical Cage	D7 - L12 to D9 - L14	Deleted.

MC416	Novus System	Novus System	10-16mm	Deleted.

MC438	Novus System	Novus System	12 - 50mm	Deleted.

MC452	Telamon	Telamon	8 - 16mm	Deleted.

MC453	Telamon	Telamon	8 - 16mm	Deleted.

MC454	Telamon	Telamon	8 - 16mm	Deleted.

MC455	Telamon	Telamon	8 - 16mm	Deleted.

MC460	TSRH 3D 	TSRH 3D 	6-12mm	Deleted.

MC461	Union	Union	10 - 16mm	Deleted.

MC464	Z Plate II	Z Plate II	4cm	Deleted.

MC465	Z Plate II	Z Plate II	5cm	Deleted.

MC466	Z Plate II	Z Plate II	6cm	Deleted.

MC467	Z Plate II	Z Plate II	7cm	Deleted.

MC468	Z Plate II	Z Plate II	8cm	Deleted.

MC469	Z Plate II	Z Plate II	9cm	Deleted.

MC470	Z Plate II	Z Plate II	10cm	Deleted.

MC471	Z Plate II	Z Plate II	11cm	Deleted.

MC472	Z Plate II	Z Plate II	12cm	Deleted.

MC473	Z Plate II	Z Plate II	13cm	Deleted.

MC474	Z Plate II	Z Plate II	30mm - 55mm	Deleted.

MC475	Z Plate II	Z Plate II	One size only	Deleted.

MC476	Z Plate II	Z Plate II	20 - 60mm	Deleted.

MC477	Z Plate II	Z Plate II	One size only	Deleted.

MC508	Novus Systems	Novus Systems	10-16mm	Deleted.

MC604	Union	Union	Flat Large 12-20mm	Compressed into MC603.

MC605	Union	Union	Lordotic Large 12-20mm	Compressed into MC603.

MC607	Union	Union	Centre Piece Large 5-40mm	Compressed into MC606.

MC723	Vertex Spinal System	Vertex Spinal System	Nut 12mm Diameter	Deleted.

Mentor Medical Systems

Urogenital

MN005	Inflatable Penile Prostheses-Implant Start-Up Pack	Inflatable Penile Prostheses-Implant Start-Up Pack	10cm,12,14,16,18,20,22.	Transferred to CT001.

MN006	Malleable Penile Prostheses	Malleable Penile Prostheses	9ml,11ml and 13ml	Transferred to CT002.

MN007	# Testicular Prosthesis	# Testicular Prosthesis	Small, Medium, Large	Transferred to CT003.

Deleted Items for Prostheses List Report	Page 14 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

MN008	Urethrin Teflon Paste Kit	Urethrin Teflon Paste Kit	One size only	Deleted.

MN009	CINCH Bladder Neck Suspension Anchor 	CINCH Bladder Neck Suspension Anchor 	4mm Anchors	Deleted.

MN022	Titan Inflatable Penile Prosthesis with Resist	Titan Inflatable Penile Prosthesis with Resist	10cm, 12cm, 14cm, 16cm, 18cm, 20cm, 22cm 	Transferred to CT006.

Cylinder Lengths

MN025	Acu-form Malleable Penile Prostheses	Acu-form Malleable Penile Prostheses	9ml,11ml and 13ml	Transferred to CT007.

MN026	Silicone Elastomer Testicular Prosthesis	Silicone Elastomer Testicular Prosthesis	Small, Medium, Large	Transferred to CT004.

MN027	Titan Inflatable Penile Prosthesis with Resist	Titan Inflatable Penile Prosthesis with Resist	10cm, 12cm, 14cm, 16cm, 18cm, 20cm, 22cm 	Transferred to CT005.

Cylinder Lengths

Orthotech Pty Ltd

Orthopaedic

OH140	Atlas Acetabular Cup System	Atlas Acetabular Cup System	Atlas Cup 40-74mm	Transferred to CD011.

OH141	Atlas Acetabular Cup System	Atlas Acetabular Cup System	Atlas Poly Insert Std. Dia 28mm	Transferred to CD012.

OH143	Atlas Acetabular Cup System	Atlas Acetabular Cup System	Atlas Screw Dia 6.5mm 15-50mm L	Transferred to CD013.

OH144	Coriolis	Coriolis	Fixation Screws - Dia 6.5mm/Length 15-50mm	Transferred to CD014.

OH145	Coriolis	Coriolis	Support Ring - 44-64	Transferred to CD015.

OH146	Ramses Total Ankle Replacement	Ramses Total Ankle Replacement	Tibial - Sml/Med/Large	Transferred to CD016.

OH147	Ramses Total Ankle Replacement	Ramses Total Ankle Replacement	Talar - Sml/Med/Large	Transferred to CD017.

OH148	Ramses Total Ankle Replacement	Ramses Total Ankle Replacement	Poly Insert UHMWPE - Sml 10-16/ Med 11-17/ Large 	Transferred to CD018.

12-18

OH152	Themis Patellar Femoral	Themis Patellar Femoral	Trochlear Component - Sml/ Med/ Large	Transferred to CD019.

OH153	Themis Patellar Femoral	Themis Patellar Femoral	Patellar - Sml/ Med/ Large	Transferred to CD020.

OH154	Coriolis	Coriolis	Dia Int. 22-28 -32/ Dia Ext. 40-60	Transferred to CD021.

OH156	Academia Knee	Academia Knee	Tibial Base Plate 40-55	Transferred to CD022.

OH157	Academia Knee	Academia Knee	Tibial Insert 40-55/10-20mm	Transferred to CD023.

OH158	Academia Knee	Academia Knee	Patellar 34-38mm Dia/ 8-10mm Thickness	Transferred to CD024.

OH159	Academia Knee	Academia Knee	Stems 70-140 length/ 10-14mm dia	Transferred to CD025.

OH160	ESOP HA	ESOP HA	Left and Right Size 5-20	Transferred to CD026.

OH161	ESOP HA	ESOP HA	Size 9-15	Transferred to CD027.

OH162	ESOP HA	ESOP HA	22.2 -32mm	Transferred to CD028.

OH163	ESOP HA	ESOP HA	28mm Diameter	Transferred to CD029.

OH164	Behac Humeral Nail	Behac Humeral Nail	Large loop and Small Loop	Transferred to CD030.

OH165	Telegraph Nail	Telegraph Nail	15cm length, 7-9mm Diameter	Transferred to CD031.

OH167	Forefoot Snap off Screws	Forefoot Snap off Screws	Auto Compressive long L10 - L34	Transferred to CD032.

OH168	Forefoot Snap off Screws	Forefoot Snap off Screws	FSA 2 part 9-21/14-26	Transferred to CD033.

OH169	Forefoot Snap off Screws	Forefoot Snap off Screws	Weil self tapping L9 - L15	Transferred to CD034.

OH170	Forefoot Snap off Screws	Forefoot Snap off Screws	Arthrodesis large diameter L28 - L40	Transferred to CD035.

Deleted Items for Prostheses List Report	Page 15 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

OH172	Tenolig	Tenolig	Diameter .85 mm - Length 33 cm	Transferred to CD036.

OH173	Telegraph Screws	Telegraph Screws	24mm - 45mm	Transferred to CD037.

OH220	Atlas Acetabular Cup System	Atlas Acetabular Cup System	Atlas Alumina Insert Dia 28mmort	Transferred to CD038.

OH223	Academia Knee	Academia Knee	Femoral Implant 40-55	Transferred to CD039.

OH228	FH Thira Femoral Stem	FH Thira Femoral Stem	1-10	Transferred to CD040.

OH237	EUROBONE - Synthetic Bone Substitute	EUROBONE - Synthetic Bone Substitute	5cc	Transferred to CD041.

OH238	EUROBONE - Synthetic Bone Substitute	EUROBONE - Synthetic Bone Substitute	10cc	Transferred to CD042.

OH239	EUROBONE - Synthetic Bone Substitute	EUROBONE - Synthetic Bone Substitute	20cc	Transferred to CD043.

OH313	Pharo	Pharo	1-5mm	Transferred to CD046.

OH314	Pharo	Pharo	41-59mm	Transferred to CD047.

OH315	Pharo	Pharo	-5 to +10 (six sizes)	Transferred to CD048.

Plus Orthopedics Australia Pty Ltd

Orthopaedic

PL017	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 9	Compressed into PL016.

PL058	Plus Hip Joint Prosthesis System	Plus Hip Joint Prosthesis System	3-9	Compressed into PL018.

PL074	Plus Hip Joint Prosthesis System	Plus Hip Joint Prosthesis System	1-9	Compressed into PL019.

PL132	POLARSTEM FEMORAL STEM SYSTEM	POLARSTEM FEMORAL STEM SYSTEM	0-8	Deleted.

PL135	POLARSTEM FEMORAL STEM SYSTEM	POLARSTEM FEMORAL STEM SYSTEM	22-28MM	Deleted.

PL144	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-67MM	Deleted.

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SN019	Low Profile Classic Compression Hip Screw System	Low Profile Classic Compression Hip Screw System	5 - 6 holes	Deleted.

SN020	Osteotomy Plates	Osteotomy Plates	50 - 110mm	Deleted.

SN021	Osteotomy Plates	Osteotomy Plates	50 - 80mm	Deleted.

SN023	Osteotomy Plates	Osteotomy Plates	40 - 60mm	Deleted.

SN024	Osteotomy Plates	Osteotomy Plates	shaft 60 - 152mm	Deleted.

SN025	Osteotomy Plates	Osteotomy Plates	Shaft 92 - 156mm	Deleted.

SN026	135 degree Angled Blade Plates	135 degree Angled Blade Plates	Shaft length 60 - 200mm	Deleted.

SN033	Distal Radius System	Distal Radius System	One size only	Deleted.

SN034	Hex Fix External Fixator System	Hex Fix External Fixator System	6.4mm Diameter (65-125mm lengths)	Deleted.

SN035	Colles Gold External Fixator System	Colles Gold External Fixator System	One size only	Deleted.

SN046	TC 100 2.0mm Condylar plates	TC 100 2.0mm Condylar plates	7 holes	Compressed into SN068.

SN077	TC 100 3.5mm Curved Reconstruction plates	TC 100 3.5mm Curved Reconstruction plates	118 - 142mm	Compressed into SN076.

SN089	TC 100 2.7mm Condylar plates	TC 100 2.7mm Condylar plates	Right/left	Compressed into SN068.

Deleted Items for Prostheses List Report	Page 16 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SN090	TC 100 2.0mm L-plates	TC 100 2.0mm L-plates	One size each	Compressed into SN073.

SN094	TC 100 Bone Plates with provisional fixation holes	TC 100 Bone Plates with provisional fixation holes	5 - 7 hole	Compressed into SN062.

SN099	TC 100 Bone Plates with provisional fixation holes	TC 100 Bone Plates with provisional fixation holes	6 - 8 hole	Compressed into SN137.

SN123	TC 100 3.5mm Cortical screw	TC 100 3.5mm Cortical screw	10 - 40mm	Deleted.

SN125	TC 100 Bone Plates with provisional fixation holes	TC 100 Bone Plates with provisional fixation holes	84 - 148mm	Compressed into SN102.

SN139	Osteotomy Plates	Osteotomy Plates	25 - 32mm	Deleted.

SN140	Low Profile Classic Compression Hip Screw System	Low Profile Classic Compression Hip Screw System	3 - 4 holes	Deleted.

SN142	TC 100 4.5mm Broad Compression plates	TC 100 4.5mm Broad Compression plates	151 - 199mm	Compressed into SN108.

SN144	TC 100 2.7mm L-plates	TC 100 2.7mm L-plates	3 holes	Compressed into SN073.

SN145	TC 100 3.5mm Reconstruction plates	TC 100 3.5mm Reconstruction plates	142 - 178mm	Compressed into SN075.

SN257	Axis 	Axis 	28, 32mm ID; 44 - 60mm OD	Deleted.

SN259	Axis 	Axis 	120 - 200mm	Deleted.

SN260	Axis 	Axis 	Axis Shell 44 - 60mm  Axis II Shell  44 - 64mm	Deleted.

SN262	Bio-fit 	Bio-fit 	Collared size 1-6	Deleted.

SN266	Convene	Convene	=< 32mm	Deleted.

SN274	Echelon	Echelon	12-16  175-225mm	Deleted.

SN275	Echelon	Echelon	15, 30mm, Sizes 11-22	Deleted.

SN278	Femoral Head	Femoral Head	14/16 taper, =<32mm, Std - Xlong	Compressed into SN299.

SN281	Femoral Head	Femoral Head	=<32mm	Compressed into SN280.

SN283	Optifix	Optifix	43 - 76mm	Deleted.

SN287	Reflection	Reflection	42 - 76mm	Deleted.

SN293	Reflection	Reflection	22 - 36mm,  42 - 76mm	Deleted.

SN339	Genesis	Genesis	16-22mm	Deleted.

SN341	Genesis	Genesis	Left/Right Small-Magnum Plus	Deleted.

SN343	Genesis	Genesis	10x65mm - 20x325mm	Deleted.

SN344	Genesis	Genesis	Left/Right Small - Magnum	Deleted.

SN345	Genesis	Genesis	Left/Right Small - Magnum	Deleted.

SN346	Genesis	Genesis	Fem & Tibial	Deleted.

SN351	Genesis	Genesis	Left/Right Small - Magnum	Deleted.

SN357	Genesis	Genesis	16-22mm	Deleted.

SN358	Genesis	Genesis	Small-Magnum 4mm-15mm	Deleted.

SN360	ITH	ITH	STCOL L120mm- 200mm  Stnd L120mm-200mm	Deleted.

SN362	Matrix: Modular Hip System	Matrix: Modular Hip System	6L-14L	Deleted.

SN363	Matrix: Modular Hip System	Matrix: Modular Hip System	Collarless  Stem 8,10,12. Collared Stem  8,10,12,14. 	Deleted.

Collarless/Collared Femur

Deleted Items for Prostheses List Report	Page 17 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SN364	Matrix: Modular Hip System	Matrix: Modular Hip System	Straight Sizes 8-16, 10 -  21mm, x +10mm, 60mm ;  	Deleted.

Bowed  Sizes 8 - 16,  x +85mm, +135mm.

SN366	Matrix: Modular Hip System	Matrix: Modular Hip System	8S - 16L	Deleted.

SN389	Profix	Profix	Left/Right Size 1-6 10-20mm	Compressed into SN317.

SN390	Profix	Profix	Right/Left Size 1-7	Compressed into SN309.

SN392	Profix	Profix	Left/Right Size 1-6 10 - 35mm	Compressed into SN331.

SN433	Half Pin	Half Pin	4-6mm x 20-80mm	Deleted.

SN444	Reis	Reis	1.6 & 2.0mm	Deleted.

SN461	Bone Staple	Bone Staple	Staple 1.16x 1.2- 3.8 x1.2-3.4.  Staple 3.32 x 5.8-7.8 x	Deleted.

3.4.  Staple with Spikes XSM- Large.  Staple W/O

Spikes XSM- Large.  Trac Pin 9"

SN462	Bone Staple	Bone Staple	Scaphoid Staple S,M, M- Long & Large  	Deleted.

SN472	Compression Hip Screw System	Compression Hip Screw System	120mm, 4-5 slot	Deleted.

SN474	Compression Hip Screw System	Compression Hip Screw System	180-220mm, 4-10 slot	Deleted.

SN483	Compression Hip Screw System	Compression Hip Screw System	55mm-140mm	Compressed into SN481.

SN491	Paediatric Osteotomy System	Paediatric Osteotomy System	One size only	Deleted.

SN494	Ender Nails	Ender Nails	3.5mmx22cm - 4.5mmx48cm	Deleted.

SN500	Russel Taylor	Russel Taylor	8mmx24cm - 10mmx38mm	Deleted.

SN501	Russel Taylor	Russel Taylor	Left/Right 8mmx24cm - 9mmx38cm	Deleted.

SN506	Russel Taylor	Russel Taylor	4.0mm Diameter 12-60mm	Deleted.

SN512	Russel Taylor	Russel Taylor	5.0/6.4mm 25mm-110mm	Deleted.

SN513	Russel Taylor	Russel Taylor	6.4 x 85 to 8 x 110mm.	Deleted.

SN516	Russel Taylor	Russel Taylor	One size only	Deleted.

SN518	Russell Taylor 	Russell Taylor 	11mmx30cm - 13mmx48cm	Deleted.

SN592	TC 100 Plate	TC 100 Plate	5 hole & 6 hole	Compressed into SN578.

SN630	Cannulated Hip Pins	Cannulated Hip Pins	1.8 x 2 - 5.32 x 5 1/2.  	Deleted.

SN663	35deg Reflection Liner	35deg Reflection Liner	50 - 60mm	Deleted.

SN665	TriGen TAN	TriGen TAN	10, 11.5 & 13mm Diameter, 30 - 50cm Length	Compressed into SN521.

SN666	TriGen Nail Cap	TriGen Nail Cap	0 - 20mm body length	Deleted.

SN670	Femoral Osteotomy Plate	Femoral Osteotomy Plate	6 - 20mm thick x 20mm wide	Deleted.

SN671	Femoral Osteotomy Plate	Femoral Osteotomy Plate	6-8 hole, 6 - 18mm wide	Deleted.

SN672	JAX Advanced Bone Void Filler	JAX Advanced Bone Void Filler	10cc	Deleted.

SN674	JAX Advanced Bone Void Filler	JAX Advanced Bone Void Filler	4cc	Deleted.

SN685	Opening Wedge Tibial Ostectomy Plate	Opening Wedge Tibial Ostectomy Plate	6 - 20mm	Deleted.

SN688	Reflection	Reflection	Sizes 45 - 66	Deleted.

SN692	Spectrum EF	Spectrum EF	Size 40 - 74mm	Deleted.

Deleted Items for Prostheses List Report	Page 18 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SN707	Optifix	Optifix	43-76mm	Deleted.

SN712	Bio Buck Cement Restrictor	Bio Buck Cement Restrictor	13mm - 35mm	Deleted.

SN723	Genesis II	Genesis II	10-100mm	Deleted.

SN734	Accord	Accord	One Size Only	Deleted.

SN753	Accord Cable System	Accord Cable System	150mm	Deleted.

SN754	Accord Cable System	Accord Cable System	250mm	Deleted.

SN755	AccordCable System	AccordCable System	200mm	Deleted.

SN773	Trigen	Trigen	11.5mm Diameter, 16-25cm Length	Compressed into SN772.

SN776	IMHS CP	IMHS CP	standard	Deleted.

SN781	Renasys knee	Renasys knee	23-35mm	Compressed into SN323.

SN802	Genesis II	Genesis II	23-35mm	Deleted.

SN803	Genesis II/Profix	Genesis II/Profix	1-9	Deleted.

SN804	Genesis II/Profix	Genesis II/Profix	1-9	Deleted.

SN805	Profix Constrained Femur	Profix Constrained Femur	Left & Right, Size 1-6, 10 - 20mm	Deleted.

SN806	Axis	Axis	>32mm	Deleted.

>32MM

SN807	Femoral Head	Femoral Head	14/16 taper, >32mm, Std - Xlong	Deleted.

SN810	Femoral Head	Femoral Head	>32mm	Compressed into SN809.

SN815	Profix	Profix	Left/Right Size 1-8	Deleted.

SN840	Trigen InterTAN Nail	Trigen InterTAN Nail	70-120mm	Deleted.

Smiths Medical Australasia Pty Ltd

General/Miscellaneous

SI002	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Injection/Infusion Ports, Sterile - PORT-A-CATH 	One size only	Deleted.

Intraspinal 501CS System	Intraspinal 501CS System

SI006	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Injection/Infusion Ports, Sterile - PORT-A-CATH 	One size only	Deleted.

Intraspinal 500CS System	Intraspinal 500CS System

SI009	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Injection/Infusion Ports, Sterile - PORT-A-CATH 	1.9 mm polyurethane catheter	Deleted.

Implantable Venous Access System	Implantable Venous Access System

SI011	Injection/Infusion Ports, Sterile - PORT-A-CATH Low 	Injection/Infusion Ports, Sterile - PORT-A-CATH Low 	1.9 mm polyurethane catheter	Deleted.

Profile Titanium Venous System	Profile Titanium Venous System

SI013	Injection/Infusion Ports, Sterile - PORT-A-CATH II  	Injection/Infusion Ports, Sterile - PORT-A-CATH II  	2.8 mm silicone catheter	Deleted.

Titanium Venous System 	Titanium Venous System

SI015	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	1.9 mm polyurethane catheter	Deleted.

Titanium Venous System 	Titanium Venous System

SI018	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	1.9 mm polyurethane catheter	Deleted.

Low Profile Titanium Venous System	Low Profile Titanium Venous System

SI022	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	3.4 mm silicone catheter	Deleted.

Dual Lumen Titanium Venous system	Dual Lumen Titanium Venous system

Deleted Items for Prostheses List Report	Page 19 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Spectrum Surgical

Ophthalmic

SO001	T.Flux: Non-Absorbable Galucoma Drain	T.Flux: Non-Absorbable Galucoma Drain	One size only	Transferred to CZ001.

SO002	Tensiobag: Capsular Tension Ring	Tensiobag: Capsular Tension Ring	Diameter 10 - 14mm	Transferred to CZ002.

SO018	FCI Eyelid Spacer (Upper & Lower Lids)	FCI Eyelid Spacer (Upper & Lower Lids)	Upper Lid: 20 x 4-16 x 0.35mm; Lower Lid: 20 x 4-16 	Deleted.

x 1mm

SO026	Flexiring Capsular Tension Ring	Flexiring Capsular Tension Ring	Diameter 10 - 14 mm	Deleted.

SO028	IOLTECH Intraocular Lens: Model Bigbag	IOLTECH Intraocular Lens: Model Bigbag	6.5mm optic diameter x 10.35 overall diameter	Transferred to CZ003.

SO029	IOLTECH Intraocular Lens: Model MF4	IOLTECH Intraocular Lens: Model MF4	6.00mm optic diameter x 10.5mm overall diameter	Transferred to CZ004.

SO030	IOLTECH Intraocular Lens: Model ACOR	IOLTECH Intraocular Lens: Model ACOR	5.75mm - 6.0mm optic diameter x 12.5mm - 13.5mm 	Deleted.

overall diameter

SO031	IOLTECH Intraocular Lens, Model Stabibag, Model XL 	IOLTECH Intraocular Lens, Model Stabibag, Model XL 	5.5mm to 6.0mm optic x 10.5mm to 10.75mm overall	Transferred to CZ005.

Stabi	Stabi	 diameter

SO032	IOLTECH Intraocular Lens, Model Stabibag RTU, 	IOLTECH Intraocular Lens, Model Stabibag RTU, 	5.5mm to 6.0mm optic x 10.5mm to 10.75mm overall	Transferred to CZ006.

Model XL Stabi RTU/Sky	Model XL Stabi RTU/Sky	 diameter

SO033	IOLTECH MICS IOL	IOLTECH MICS IOL	5.5mm - 6.0mm optic X 12mm overall diameter	Transferred to CZ007.

SO034	Hydromax	Hydromax	6.0mm Optic x 12.5mm Overall Diameter	Transferred to CZ008.

SO035	Ethos	Ethos	6.0mm Optic x 12.5mm Overall Diameter	Transferred to CZ009.

SO036	XL Stabi ZO, Invent ZO	XL Stabi ZO, Invent ZO	6.0mm Optic x 10.5mm Overall Diameter	Transferred to CZ010.

SO037	XL Stabi ZO Sky, Invent ZO Sky	XL Stabi ZO Sky, Invent ZO Sky	6.0mm Optic X 10.5mm Overall Diameter	Transferred to CZ011.

St. Jude Medical Australia Pty Ltd

Cardio-thoracic

SJ009	Photon Micro DR Model V-232 	Photon Micro DR Model V-232 	37cc	Deleted.

Defibrillators/Cardioverters	Defibrillators/Cardioverters

SJ010	Photon Micro VR Model V-194 	Photon Micro VR Model V-194 	36cc	Deleted.

Defibrillators/Cardioverters	Defibrillators/Cardioverters

SJ013	Transvenous Superior Vena Cava Lead Model SV01, 	Transvenous Superior Vena Cava Lead Model SV01, 	SV01- 100cm; SV02 - 45cm; SV03 - 55cm	Deleted.

Transvenous Superior Vena Cava Lead Model SV02, 	Transvenous Superior Vena Cava Lead Model SV02,

Transvenous Superior Vena Cava Lead Model SV03	Transvenous Superior Vena Cava Lead Model SV03

SJ019	REGENCY SC 2406L, SCX 2408L, SC 2407M/S	REGENCY SC 2406L, SCX 2408L, SC 2407M/S	8.6cc, 18.5-19gm	Deleted.

SJ020	REGENCY SC+ 2402L	REGENCY SC+ 2402L	8.6cc, 18.5gm	Deleted.

SJ022	REGENCY SR+ 2400L	REGENCY SR+ 2400L	8.6cc, 18.5gm	Deleted.

SJ025	St Jude Medical Integrity SR5142 Pacemaker, Cardiac 	St Jude Medical Integrity SR5142 Pacemaker, Cardiac 	Volume 10.4cc, weight 23gm	Deleted.

Implantable	Implantable

SJ026	St Jude Medical Integrity AFX DR5346 Pacemaker, 	St Jude Medical Integrity AFX DR5346 Pacemaker, 	Volume 11cc, weight 23.5gm	Deleted.

Cardiac, Implantable	Cardiac, Implantable

SJ028	Integrity Micro DR 5336 Pacemaker	Integrity Micro DR 5336 Pacemaker	Volume 8cc, Weight 18gm	Deleted.

SJ029	Integrity Micro SR 5136 Pacemaker	Integrity Micro SR 5136 Pacemaker	Volume 8cc, weight 18gm	Deleted.

Deleted Items for Prostheses List Report	Page 20 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SJ030	Identity SR 5172	Identity SR 5172	Volume 8cc, Weight 17gm	Deleted.

SJ031	Identity XL DR 5376	Identity XL DR 5376	Volume 11cc, Weight 23.5gm	Deleted.

SJ032	Identity DR 5370	Identity DR 5370	Volume 8cc, Weight 18gm	Deleted.

SJ040	Frontier 3x2 Model 5510	Frontier 3x2 Model 5510	Height 48mm, Length 52mm, Depth 6mm	Deleted.

SJ058	St Jude Medical Australia Ventritex Contour MD Models	St Jude Medical Australia Ventritex Contour MD Models 	57-65cc, 109 - 118g	Deleted.

V-175AC, V-175D and V- 175C 	V-175AC, V-175D and V- 175C

Defibrillators/Cardioverters	Defibrillators/Cardioverters

Stryker Australia Pty Ltd

Neurosurgical

SK425	VBOSS/VLIFT	VBOSS/VLIFT	Available from 10 to 25mm in Diameter and from 8 to 	Deleted.

120mm in Length

ST915	Reflex Anterior Cervical Plate - Screw	Reflex Anterior Cervical Plate - Screw	Dia 4mm Length 16 - 22mm	Compressed into ST914.

ST916	Reflex Anterior Cervical Plate - Screw	Reflex Anterior Cervical Plate - Screw	Dia 4.5mm  Length 12 - 22mm	Compressed into ST914.

Orthopaedic

HW021	ABG Hip System	ABG Hip System	22mm,28mm,32mm ID	Compressed into ST931.

HW035	Exeter Hip System	Exeter Hip System	OD:40-60mm, ID: 22, 26, 28, 30	Compressed into HW029.

HW036	Exeter Hip System	Exeter Hip System	OD:40-60mm, ID: 22, 26, 28, 30	Compressed into HW029.

HW060	PCA Hip System 	PCA Hip System 	26mm,28mm,32mm ID	Compressed into ST546.

HW068	Vitalock Acetabular System	Vitalock Acetabular System	42 to 76mm OD in 2mm increments	Deleted.

HW069	Vitalock Acetabular System	Vitalock Acetabular System	42 to 76mm OD in 2mm increments	Deleted.

HW073	Vitalock Acetabular System	Vitalock Acetabular System	30mm ID	Compressed into ST546.

SK013	Trident Acetabular Component System	Trident Acetabular Component System	Fits 50-70mm with 28,32 and 36mm ID Options	Compressed into ST546.

SK050	Stryker Plating System Screws	Stryker Plating System Screws	Dia 4.0mm, 22-30mm	Compressed into SK049.

SK051	Stryker Plating System Screws	Stryker Plating System Screws	Dia 4.0mm, 32-50mm	Compressed into SK049.

SK052	Stryker Plating System Screws	Stryker Plating System Screws	Dia 4.0mm, 55-100mm	Compressed into SK049.

SK066	Matta Pelvic System	Matta Pelvic System	4-6 Holes	Compressed into SK064.

SK101	Stryker Plating System Small Fragment Set	Stryker Plating System Small Fragment Set	66-100mm Length	Compressed into SK100.

SK104	Stryker Plating System Screws	Stryker Plating System Screws	Dia 2.7mm, screw length 40-60mm	Compressed into SK103.

SK108	Stryker Plating System Screws	Stryker Plating System Screws	Dia 3.5mm, screw length 65-95mm	Compressed into SK107.

SK109	Stryker Plating System Screws	Stryker Plating System Screws	Dia 3.5mm, screw length 100-120mm	Compressed into SK107.

SK111	Stryker Plating System Basic Fragment Set	Stryker Plating System Basic Fragment Set	10-22 Holes	Compressed into SK110.

SK118	Tenxor External Fixation System - Kirschner Wires	Tenxor External Fixation System - Kirschner Wires	1.5mm & 2.0mm	Compressed into SK117.

SK207	Hoffmann II External Fixation System	Hoffmann II External Fixation System	Rod to rod coupling 5/3	Compressed into SK206.

SK208	Hoffmann II External Fixation System	Hoffmann II External Fixation System	Pin to rod coupling	Compressed into SK206.

SK209	Hoffmann II External Fixation System	Hoffmann II External Fixation System	Multipin clamp	Compressed into SK206.

Deleted Items for Prostheses List Report	Page 21 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SK210	Hoffmann II External Fixation System	Hoffmann II External Fixation System	90 degree multipin clamp	Compressed into SK206.

SK220	Stryker Plating System	Stryker Plating System	Tibial Plate 4.5/6.5mm	Compressed into SK219.

SK221	Stryker Plating System	Stryker Plating System	Tibial Plate 3.5/4.0mm	Compressed into SK219.

SK310	Spiral Radius 90D	Spiral Radius 90D	Long & Short	Deleted.

SK320	Exeter Cement in Cement Revision Stem	Exeter Cement in Cement Revision Stem	44mm Offset, 125mm Length	Deleted.

ST020	Bonesave	Bonesave	40gms, granule size 2-4mm	Compressed into ST021.

ST068	Connector - Multi Axial	Connector - Multi Axial	29-99mm	Deleted.

ST555	Osteonics secur-fit - HA PSL acetabular shell	Osteonics secur-fit - HA PSL acetabular shell	OD: 40-72mm in 2mm increments 	Compressed into ST554.

ST559	Omnifit cup insert	Omnifit cup insert	22, 26, 28 & 32mm dia	Compressed into ST561.

ST560	Omnifit cup insert	Omnifit cup insert	22, 26, 28 & 32mm dia	Compressed into ST561.

ST562	Omnifit cup insert 	Omnifit cup insert 	22, 26, 28 & 32mm dia	Compressed into ST561.

ST563	Omnifit cup insert	Omnifit cup insert	22, 26, 28 & 32mm dia	Compressed into ST561.

ST564	Omnifit cup insert	Omnifit cup insert	22, 26, 28 & 32mm dia	Compressed into ST561.

ST577	Omnifit hip system 	Omnifit hip system 	Stem sizes 4-11	Compressed into ST576.

ST596	Osteonics hip prostheses	Osteonics hip prostheses	Custom made per patient	Deleted.

ST752	Leibinger Titanium Implant System	Leibinger Titanium Implant System	2.3mm system, 6 holes	Compressed into ST751.

ST785	Leibinger Titanium Implant System	Leibinger Titanium Implant System	3.0x14mm, 3.0x16mm, 3.0x18mm 	Compressed into ST784.

ST799	ABG Hip System	ABG Hip System	To fit ABG 11 cup sizes OD 50, 52, 54, 56, 58mm	Compressed into ST931.

ST930	System 12 +4mm Acetabular Insert	System 12 +4mm Acetabular Insert	28 and 32mm ID with a 10 degree hood to fit all sizes 	Compressed into ST546.

of System 12 shells

Plastic and Reconstructive

ST107	Leibinger Screws 	Leibinger Screws 	1.0 x 2-9mm	Compressed into ST110.

ST108	Leibinger Screws 	Leibinger Screws 	1.2 x 2-12mm	Compressed into ST110.

Surgical House

Neurosurgical

SU001	Songer Cable System - 2 Crimps	Songer Cable System - 2 Crimps	One size only	Deleted.

SU071	OGP posterior lumbar rigid screw fixation system	OGP posterior lumbar rigid screw fixation system	6.5 x 35mm , 6.5 x 40mm, 6.5 x 45mm	Deleted.

SU072	OGP posterior lumbar rigid screw fixation system	OGP posterior lumbar rigid screw fixation system	10,12,14,16,18mm	Deleted.

SU095	Songer cable system 	Songer cable system 	One size only	Deleted.

SU096	Hartshill: Ransford	Hartshill: Ransford	100 degree 9mm-20mm	Deleted.

SU097	Hartshill: Ransford	Hartshill: Ransford	100 degree 45cm x 15mm	Deleted.

SU098	Hartshill Rectangle	Hartshill Rectangle	5mm diam 3-5cm length	Deleted.

SU099	Hartshill Rectangle	Hartshill Rectangle	5mm diam  6-8cm length	Deleted.

SU100	Hartshill Rectangle	Hartshill Rectangle	5mm diam  9-11cm length	Deleted.

Deleted Items for Prostheses List Report	Page 22 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SU101	Hartshill Rectangle	Hartshill Rectangle	5mm diam  12-14cm length	Deleted.

SU102	Hartshill Rectangle	Hartshill Rectangle	6mm diam 15-19cm length	Deleted.

SU103	Hartshill Rectangle	Hartshill Rectangle	6mm diam 20-24cm length	Deleted.

SU104	Hartshill Rectangle	Hartshill Rectangle	6mm diam 25-30cm length	Deleted.

SU105	Hartshill Rectangle	Hartshill Rectangle	6mm diam  31-36cm length	Deleted.

SU106	Hartshill Rectangle	Hartshill Rectangle	6mm diam 37-44cm length	Deleted.

SU110	Hartshill	Hartshill	1.2mm diam  & 0.9mm diam	Deleted.

SU112	Hartshill	Hartshill	6.5mm diam  - 25-30mm length, 5.5mm diam - 25-	Deleted.

30mm length

SU152	Intext Cervical Plate/Intext Screws	Intext Cervical Plate/Intext Screws	Plates - width 13mm, height 4mm - 9mm  width 	Deleted.

17mm, height 4mm - 9mm

SU153	Intext Cervical Plate/Intext Screws	Intext Cervical Plate/Intext Screws	Screws/Revision Screws - dia 4.4mm, length 11 - 18mm	Deleted.

SU171	Cancellous Screws	Cancellous Screws	5.5mm x 25mm (for use with 37mm Stalif), 6.5mm x 	Deleted.

30mm (for use with 41/45mm Stalif), 6.5mm x 25mm

(for use with 41/45mm Stalif). Pack of 4 screws.

SU172	Stalif	Stalif	37mm x 11, 13, 15mm; 41mm x 11, 13, 15mm; 45mm	Deleted.

x 11, 13, 15mm; 37mm x 17mm, 41mm x 17mm,

45mm x 17mm

SU173	Intext Cervical Plate/Intext Screws	Intext Cervical Plate/Intext Screws	Screws/Revision Screws - dia 4.4mm, length 11 - 18mm 	Deleted.

- Pack of 3

Orthopaedic

SU048	The Bone Tie	The Bone Tie	One size only	Deleted.

SU055	Gateshead rod (Arthrotomy set) -pack of 3	Gateshead rod (Arthrotomy set) -pack of 3	3 x 12.5mm	Deleted.

SU056	Gateshead rod (Arthrotomy set) -pack of 5	Gateshead rod (Arthrotomy set) -pack of 5	3 x 12.5mm	Deleted.

SU059	ABC Prosthetic Ligament	ABC Prosthetic Ligament	12.5cm-18.5cm; ABC Carbon Polyester & ABC 	Deleted.

Polyester/Polyester - One size only

SU062	Surgicraft	Surgicraft	One size only	Deleted.

SU073	Olerud PF Blocks	Olerud PF Blocks	To suit 7mm Olerud PF Rods	Deleted.

SU075	Olerud Pedicle Screw	Olerud Pedicle Screw	Diameter 5, 6, 7mm Length 45 - 80mm	Deleted.

SU081	Bone screw	Bone screw	Diam 4,5,6mm 55-70mm	Deleted.

Surgical Specialties

Orthopaedic

SQ006	Radius Plating System	Radius Plating System	1.3mm	Compressed into SQ005.

SQ009	Osteosynthesis Plates	Osteosynthesis Plates	1.2-2.7mm	Compressed into SQ008.

SQ018	CBS Screw	CBS Screw	1.5mm	Deleted.

Deleted Items for Prostheses List Report	Page 23 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Synthes Australia Pty Ltd

Orthopaedic

SY025	AO/ASIF Plates	AO/ASIF Plates	3-20 hole / 9-100mm length	Deleted.

SY027	AO/ASIF Plates	AO/ASIF Plates	20 hole, length 100mm	Deleted.

SY045	AO/ASIF Plates	AO/ASIF Plates	2-18 hole	Deleted.

SY058	AO/ASIF Plates	AO/ASIF Plates	 3-4 hole	Deleted.

SY061	AO/ASIF Screws	AO/ASIF Screws	5.0 x 81mm - 5.0 x 85mm	Deleted.

SY075	AO/ASIF Screws Steel	AO/ASIF Screws Steel	16, 32mm, & full thread / 20 - 150mm / 7.3mm 	Deleted.

cannulated

SY081	AO/ASIF Screws	AO/ASIF Screws	29.0 - 70.0mm	Deleted.

SY099	AO/ASIF Plates	AO/ASIF Plates	2-28 hole	Deleted.

SY119	AO/ASIF Plates	AO/ASIF Plates	7 - 15 hole	Compressed into SY118.

SY170	LCP Plate	LCP Plate	Dia 3.5 - 5.0mm, length 3-22 hole	Deleted.

SY190	AO/ASIF Plates	AO/ASIF Plates	3.3mm-5.0mm dia 2.0-28mm	Deleted.

SY223	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	Large	Deleted.

SY241	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY267	AO/ASIF Screws	AO/ASIF Screws	20.0 - 65mm	Deleted.

SY355	AO/ASIF Plates	AO/ASIF Plates	60mm - 150mm	Deleted.

Plastic and Reconstructive

SY155	AO/ASIF Facio-maxillary Plates	AO/ASIF Facio-maxillary Plates	1.5mm, 2-20 hole	Deleted.

SY157	AO/ASIF Facio-maxillary Plates	AO/ASIF Facio-maxillary Plates	2.0mm, 2-30 hole	Deleted.

Taylor Bryant Pty Ltd

General/Miscellaneous

TB134	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	10 x 10 x 10mm, Bx /50. Benefit amount per item	Deleted.

TB135	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	10 x 10 x 10mm, Bx 2/30. Benefit amount per item.	Deleted.

TB138	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	100mm, Bx /10	Deleted.

TB141	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	80 x 50 x 10mm, Bx /10	Deleted.

TB143	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	80 x 30mm, Bx /5	Deleted.

TB359	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	200mm, Bx/10	Deleted.

Neurosurgical

TB298	MC+ Implants	MC+ Implants	12mm x 14mm - 15mm x 17mm	Deleted.

TB299	Roi Implants	Roi Implants	20mm x 7mm - 24mm x 15mm	Deleted.

TB302	Blackstone - Surgical Mesh	Blackstone - Surgical Mesh	17 x 22mm, 70mm - 26 x 33mm, 90mm	Deleted.

Deleted Items for Prostheses List Report	Page 24 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Orthopaedic

TB200	Proximal Interphalangeal Joint Implant	Proximal Interphalangeal Joint Implant	10, 20, 30, 40, 50	Deleted.

TB201	Metacarpophalangeal Implant	Metacarpophalangeal Implant	00, 10, 20, 30, 40, 50	Deleted.

TB320	I.T.S Claviclar Angle Locking Plate (CAL)	I.T.S Claviclar Angle Locking Plate (CAL)	Deleted.

TB321	I.T.S Claviclar Angle Locking Plate (CAL)	I.T.S Claviclar Angle Locking Plate (CAL)	3.5mm, 14mm to 24mm	Deleted.

TB332	Carpal Button	Carpal Button	x3 Sizes with various screw hole options	Deleted.

TB345	Weil Screws	Weil Screws	7-17mm	Deleted.

Technology For Life Pty Ltd

Ear, Nose & Throat

TE010	Tracheal/Broncheal Stent	Tracheal/Broncheal Stent	10/20 to 18/80	Deleted.

TE011	Bronchial Tracheal Stent	Bronchial Tracheal Stent	10/20 to 18/80	Deleted.

TE012	Harrell Y Stent Tracheal	Harrell Y Stent Tracheal	10/10/20 to 16/16/70	Deleted.

TE013	Westaby T Y Stent Tracheal	Westaby T Y Stent Tracheal	10/10/20 to 16/16/90	Deleted.

General/Miscellaneous

TE002	Sclerosol Pleural Spray	Sclerosol Pleural Spray	5gm	Deleted.

Orthopaedic

TE016	Ceraform Cementek Bone Substitute	Ceraform Cementek Bone Substitute	20-40 gram (per 20g)	Deleted.

Plastic and Reconstructive

TE001	PMT (Enhanced Surface) Breast Expander	PMT (Enhanced Surface) Breast Expander	10 x 13cm to 16.5 x 16 cm. Plus custom made	Deleted.

TE004	# PMT Tissue Expander - Extremity + Head	# PMT Tissue Expander - Extremity + Head	Shaped 3 x 4cm to 8 x 18 cm	Deleted.

TE005	# PMT Tissue Expander - Extremity + Head	# PMT Tissue Expander - Extremity + Head	Shaped 3 x 4cm to 11 x 22 cm	Deleted.

TE006	# PMT Tissue Expander - Extremity + Head	# PMT Tissue Expander - Extremity + Head	Shaped 3 x 4cm to 11 x 22 cm	Deleted.

TE007	# PMT Breast Expander	# PMT Breast Expander	10 x 13cm to 14 x 18 cm. 13 x 11cm to 15 x 13cm	Deleted.

TE008	# PMT Breast Expander	# PMT Breast Expander	10 x 13cm to 15 x 16 cm. Plus custom made	Deleted.

TE009	# PMT Breast Expander	# PMT Breast Expander	10 x 13cm to 16.5 x 16 cm. Plus custom made	Deleted.

TE015	Spectrum Designs Implantable Prosthesis Blocks	Spectrum Designs Implantable Prosthesis Blocks	Block I-IV, 12-17.5cm	Deleted.

TE035	Eurosilicone Cristilline Paragel Mammary Implants	Eurosilicone Cristilline Paragel Mammary Implants	60 - 500cc	Deleted.

Urogenital

TE003	# Micro Textured Testicular Implant	# Micro Textured Testicular Implant	Small, Medium, Large, Ex-large	Deleted.

Victorian Health Care Association Pty Ltd c/o Australian Pharmaceutical

Neurosurgical

VH001	Spetzler Titanium Aneurysm Clips	Spetzler Titanium Aneurysm Clips	5mm-13mm	Deleted.

VH002	Spetzler Titanium Aneurysm Clips	Spetzler Titanium Aneurysm Clips	5mm-13mm	Deleted.

Deleted Items for Prostheses List Report	Page 25 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

W L Gore & Associates

General/Miscellaneous

GT217	Seamguard Staple Line Reinforcement Material	Seamguard Staple Line Reinforcement Material	Ethicon Endo-Surgery ETS45, USS Endo GIA II 45-4.8,	Deleted.

USS Endo GIA II 60-4.8

Vascular

GT215	Gore-Tex Intering Vascular Graft	Gore-Tex Intering Vascular Graft	Dia 6mm, 5cm radial supported length x 45cm length - 	Deleted.

non-stretch

William A Cook Australia Pty Ltd

Ear, Nose & Throat

WC074	SONG-Nasolacrimal Duct Stent Set (SNDS)	SONG-Nasolacrimal Duct Stent Set (SNDS)	Stent 6Fr, 35mm, Stent Oval or Acute Angle, 	Deleted.

Radiopaque proximal tip 0.5mm or Entended proximal

tip.

Urogenital

WC034	Sof-Flex AQ Multi-length Pigtail Stent Set	Sof-Flex AQ Multi-length Pigtail Stent Set	Multiple French Sizes and Multi-Length	Deleted.

WC179	Stratasis Urethral Sling	Stratasis Urethral Sling	Length 10cm, Width 2cm	Deleted.

WC180	Stratasis Urethral Sling	Stratasis Urethral Sling	Length 30cm, Width 2cm	Deleted.

Vascular

WC055	Peripheral Vascular Stent (ZA Stent); Zilver Stent	Peripheral Vascular Stent (ZA Stent); Zilver Stent	Introducer Catheter Length 60 - 80 cm, Diameter 6 - 	Deleted.

10 mm, Length 1 - 8cm

Zimmer Pty Ltd

Orthopaedic

ZI232	Palacos "R" bone cement	Palacos "R" bone cement	40g	Transferred to HK005.

ZI236	Intramedullary Nails 	Intramedullary Nails 	0 - 15mm	Deleted.

ZI237	Intramedullary Nails 	Intramedullary Nails 	6 - 13mm	Deleted.

ZI238	Intramedullary Nails 	Intramedullary Nails 	9 - 14mm	Deleted.

ZI239	Intramedullary Nails 	Intramedullary Nails 	6 - 15mm	Deleted.

ZI240	Intramedullary Nails 	Intramedullary Nails 	8 - 16mm	Deleted.

ZI242	Intramedullary Nails 	Intramedullary Nails 	6.5 mm	Deleted.

ZI273	Hedrocel half tube	Hedrocel half tube	10mm long	Deleted.

ZI274	Hedrocel Bone Grafts	Hedrocel Bone Grafts	3.2 - 5.7mm diameter; 36 - 48mm long	Deleted.

ZI279	Washer system	Washer system	12mm x 15mm	Deleted.

Deleted Items for Prostheses List Report	Page 26 of 27

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Zynergy Medical Pty Limited

Cardio-thoracic

ZY001	Carbostent	Carbostent	Dia 2.5mm x Length 9, 12, 15, 19, 25mm; Dia 3.0mm 	Deleted.

x Length 9, 12, 15, 19, 25, 32mm; Dia 3.5mm x

Length 9, 12, 15, 19, 25, 32mm; Diameter 4.0mm x

Length 9, 12, 15, 19, 25, 32mm

Grand Total:	654 Records

Deleted Items for Prostheses List Report	Page 27 of 27