New Products for Prostheses List	February 2009

Billing 	Product 	Further Description	Size

Ackermann Australia Pty Ltd

General/Miscellaneous

AK003	Biliary Stents	Biliary stent, straight, curved, bended, pigtails and double pigtail	5.0 to 11.5 french

Orthopaedic

AK004	Kirschner Wires	Kirschner Wire	0.6mm to 3.0mm diameter / various lengths

Advanced Biomedical Pty Ltd

Cardio-thoracic

AB066	Supple Peri-Guard (10 x 16cm)	Model No PC1016SN - 10 x 16 Bovine pericardium patch	10 x 16cm

AB067	Supple Peri-Guard (8 x 14cm)	Nodel No PC0814SN - 8 x 14 Bovine pericardium patch	8 x 14cm

AB068	Supple Peri-Guard (6 x 8cm)	Model No PC0608SN -6 x 8cm Bovine pericardium patch	6 x 8cm

AB069	Supple Peri-Guard (4 x 4cm)	Model No PC0404SN - 4 x 4cm Bovine pericardium patch	4 x 4cm

Advanced Surgical Design & Manufacture Ltd

Orthopaedic

AE104	FMP Acetabular System - Metal on Metal Heads	CoCro femoral heads in 28mm, 34mm and 38mm diameters to fit 	28mm and 38mm diameters

with FMP metal on metal acetabular liners and FMP Acetabular

Shells.  The 34 mm and 38mm heads need to be used in conjunction

with Encore Unipolar Sleeves, which provide -3.5mm, 0mm,

+3.5mm, +7.0mm and +10mm neck length options.

AE105	FMP Acetabular System - CoCro Femoral Heads	CoCro femoral heads in 22mm and 32mm diameters to fit with FMP 	22mm in +0,+4,+8mm and 32mm in -4.0, +4, +8, +12mm, diameters

acetabular liners and FMP acetabular shells

AE106	FMP Acetabular System - Acetabular cup insert, metal on metal	Modular metal on metal liner, available in 28mm ID, 34mm ID, 	28mm ID, 34mm ID, 38mm ID, to fit FMP Acetabular Cups from 48

38mm ID, to fit FMP Acetabular Cup system	 mm to 70mm OD

AE107	FMP Acetabular System - Bone screws	6.5mm Cancellous bone screws for use with FMP Acetabular shells	6.5mm diameter cancellous threaded screws from 15mm to 50mm

lengths in 5mm increments

AE108	FMP Acetabular System - Acetabular Cup Insert UHMWPE	Acetabular cup inserts, UHMWPE compression moulded and cross-	ID of 22mm, 28mm, 32mm to suit Acetabular shells of OD 40mm-

linked.  22mm, 28mm and 32mm Internal Diameters available in 0-	70mm, available in 0,10,20-degree hooded options

degree (neutral), 10-degree hooded and 20-degree hooded options.

AE109	FMP Acetabular System - Acetabular Shell, Porous	Acetabular Shells, porous 3D coating, no HA, available with: 	Each of the product variants listed above are available in rim

hemispherical with screw holes; hemispherical without screw holes; 	diameters from 40mm to 70mm in 2mm increments.

flared with screw holes; flared without screw holes; spiked shell

without screw holes; and hemispherical with multi-screw holes.

AE110	FMP Acetabular System - Constrained Liner Locking Ring	28mm constrained liner locking ring, manufactured from titanium, is 	one size, to fit all 28mm ID constrained liners

used with the FMP constrained acetabular liners.

AE111	FMP Acetabular System - Constrainer Liner	28mm constrained liner and titanium locking ring is used with the 	28mm ID, from MP5 to MP12 (40mm through to 70mmOD)

FMP acetabular system to treat recurrent dislocation.

AE112	3D Knee System - Patella	All poly domed patella, for cemented use	26, 29, 32, 35 and 38mm diameters

New Products for Prostheses List Report	Page 1 of 39

Billing 	Product 	Further Description	Size

AE113	3D Knee System- Tibial Baseplate, Porous	Asymmetric (left and right specific) tibial baseplate, CoCro with a 	Left sizes: 2,4,6,8,10,12; and Right sizes 2,4,6,8,10,12

winged keel design

AE114	3D Knee System - Tibial Insert	3D knee system tibial inserts are left and right specific, with a 	Left Sizes 2,4,6,8,10,12 in 9mm, 11mm, 13mm, 15mm, 19mm

constrained lateral condyle to permit "lateral pivot shift" through a 	thicknesses; and Right Sizes 2,4,6,8,10,12 in 9mm, 11mm, 13mm,

range of motion	15mm, 19mm thicknesses

AE115	3D Knee System - Tibial Baseplate, Cemented	Assymetric (left and right specific) tibial baseplate, CoCro with a 	Left Sizes 2,4,6,8,10,12; and Right Sizes 2,4,6,8,10,12

winged keel design

AE116	3D Knee System - Femoral Component, porous	CoCro femoral component, with 3D porous coating for cementless 	Left Sizes 1,2,4,6,8,10,12 and Right Sizes 1,2,4,6,8,10,12

fixation, Left and Right specific with deepened trochlea, congruent

lateral condyle and single radii of curvature to decrease tibiofemoral

contact stresses

AE117	3D Knee System - Femoral Component, Cemented	CoCro femoral component, grit blast for cemented	Left Sizes 1,2,4,6,8,19,12; and Right Sizes 1,2,4,6,8,10,12

AE118	Keramos Acetabular System - Acetabular cup insert, UHMWPE	Modular UHMWPE liners, available in 28mm ID to fit Keramos 	28mm ID, to fit Keramos acetabular cups from 48mm to 66mm OD

Acetabular Cups

AE119	Keramos Acetabular System - Acetabular Shell, Porous	Flared acetabular shells, porous 3D coating, no HA with 3 screw holes	OD 48mm to 66mm, in 2mm increments

AE120	Keramos Acetabular System - Acetabular cup insert, ceramic	Modular alumina ceramic liners, available in 28mm ID, 32mm ID to 	28mm ID, 32mm ID to fit Keramos acetabular cups from 48mm to

fit Keramos Acetabular Cups	66mm OD

AE121	Keramos Acetabular System - Ceramic Heads	Alumina ceramic femoral heads in 28mm and 32mm diameters, to fit 	28 & 32 mm diameters

with Keramos ceramic acetabular liners and Keramos acetabular shells

AE122	Revelation Hip System - Femoral Component, Ti, Grit Blast, non 	Non modular femoral hip stem, designed for uncemented use, left & 	16 stems: 8 sizes Left & 8 sizes Right - 8.0, 9.0, 10.5, 12.0, 13.5,

HA, standard & lateral offset	right specific with 130 degree neck angle & 12 degrees of built-in 	15.0 & 16.5

anteversion.  Proximal circumferential "3D" beading, a highly

polished neck & highly polished distal stem

AE123	CLP Hip System - Femoral Component, Ti, Grit Blast, non HA, 	Non modular femoral hip stem, designed for uncemented use, and to 	14 x standard offset components and 12 lateral offset components

standard and lateral offset	be used with CoCro or Ceramic heads in total hip arthroplasty, or

Bipolar heads in hemi-arthroplasty

AE124	Foundation Unipolar System - CoCr Unipolar Femoral Heads	CoCr unipolar femoral heads, 40mm to 64mm. Unipolar Femoral 	40mm to 64mm in 2mm increments

AE125	Foundation Unipolar System - CoCr Unipolar Sleeves	Unipolar sleeves are used in conjunction with Unipolar CoCr 	-3.5mm,+0mm (neutral), +3.5mm, +7mm & +10mm

Femoral Heads to provide -3.5mm, +0mm, +3.5mm, +7.0mm &

+10mm neck length options when used in conjunction with a femoral

hip component in hemi-arthroplasty operations.

Advanced Surgical Technologies

Orthopaedic

AD340	Delta Modular Heads	Biolox Delta Heads	28mm, 32mm in -3.5mm, 0mm, + 3.5 neck lengths

AD341	Delta Modular Heads	Biolox Delta Heads	36mm in -3.5mm, 0mm, +3.5 neck lengths

Alcon Laboratories (Aust.) Pty Ltd

Ophthalmic

AL031	AcrySert C Model SN6CWS	Posterior chamber, UV absorbing, foldable, acrylic, single piece lens 	+6.0 to +30.0 D

with blue light protection and aspheric correction, in cartridge

AL032	AcrySof Toric Aspheric IOL	Posterior chamber, UV absorbing, foldable, acrylic, toric, single piece 	+6.0 to +30.0 D

lens with blue light protection and aspheric correction

New Products for Prostheses List Report	Page 2 of 39

Billing 	Product 	Further Description	Size

Atrium Australia - Pacific Rim Pty Limited

Vascular

AC027	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel Vascular Stent	12 - 16 mm diameter 29mm length. 80cm and 120cm catheter lengths

AC028	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel Vascular Stent	12 - 16 mm diameter 41mm length. 80cm and 120cm catheter lengths

AC029	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless Steel Vascular Stent	12 - 16 mm diameter 61mm length. 80cm and 120cm catheter lengths

Austspine Pty Ltd

Neurosurgical

AJ011	Denali Spinal System / Offset Fixation Connector	Offset connector for linking rods	Varied

AJ012	Denali Spinal System / In-Line Fixation Connector	In-line connector for linking rods	Varied

AJ013	Denali Spinal System / Closed Hook	Thoracic and Lumbar Closed Hooks	Various blade and throat sizes

AJ014	Denali Spinal System / Open Hook	Thoracic and Lumbar Open Hooks	Various blade and throat sizes

AJ015	Denali Spinal System / Monoaxial Pedicle Screw	Monoaxial Pedicle Screw	Diameter: 4.5, 5.5, 6.5, 7.5, 8.5mm and Length:

20,25,30,35,40,45,50,55,60,65,70,75,80, 85mm

AJ016	Denali Spinal System / Polyaxial Pedicle Screw	Polyaxial Pedicle Screw	Diameter:  4.5, 5.5, 6.5, 7.5, 8.5mm and Length:

25,30,35,40,45,50,55,60,65mm

AJ017	Denali Spinal System / ATR Set Screw	Set Screw	8mm diameter and 4mm height

AJ018	Pyrenees Cervical Plate System / bone Screw	Self-drilling, self-tapping and bone reduction screws for fixating the 	Diameter: 4.0, 4.35 and 4.5mm.  Length: 10,12,14 and 16mm

Pyrenees plate to bone

AJ019	Pyrenees Cervical Plate System - PLATE	A titanium anterior cervical plating system, consisting of plates of 	18mm - 110mm

various lengths and range of fixation screws.

AJ020	Vigor PEEK Lumbar Interbody Fusion Cage	Rotatable posterior lumbar interbody fusion cage	Heights: 10mm, 11mm, 12mm, 14mm, 16mm and Lengths: 24mm and

26mm

AJ021	Smartloc Spinal Fixation System / Fixation Rod	Fixation Rod for Smartloc Spinal Fixation System	40mm - 80mm

AJ022	Smartloc Spinal Fixation System/Polyaxial Pedicle Screw & Reduction	Polyaxial Pedicle Screw and Reduction screw	Length 30mm - 50mm Diameter 4.5mm, 5.5mm, 6.5mm, 7.0mm,

Screw

AJ023	Smartloc Spinal Fixation System/Transverse Link	Cross link for Smartloc Spinal Fixation System	Telescopes to 70mm

AJ024	Smartloc Spinal Fixation System / Set Screw	Set screw for poyaxial pedicle screw	8mm diameter, 5mm height

AJ025	Mesa Spinal System / Polyaxial Pedicle Screw	Polyaxial Pedicle Screw	4.5, 5.5, 6.5, 7.5, 8.5mm

AJ026	Mesa Spinal System / Rod	Straight and contoured 5.5mm diameter rods	Straight: 30mm - 500mm and Contoured: 35mm - 150mm

AJ027	Mesa Spinal System / Natural Bridge Adjustable Transverse Connector	Adjustable Transverse Connector	Small: 38mm-43mm, Medium: 43mm-53mm, Large: 53mm-73mm, X-

Large: 73mm-93mm

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

General/Miscellaneous

AS158	ABSORBATACK ™	Larposcopic Absorbable Fixation Device	5mm, 10 tacks

AS159	Pleuraseal Lung Sealant System	5ml Polymer Kit, Sterile Single-use	1 kit/box

AS160	ABSORBATACK ™	Laparoscopic Absorbable Fixation Device	5mm, 20 tacks

AS161	Parietene ProGrip Mesh (PRE-SHAPED)	Pre-Cut, slit mesh with self gripping overlapping flap - right or left	12 x 8cm elliptic

New Products for Prostheses List Report	Page 3 of 39

Billing 	Product 	Further Description	Size

AS162	Parietene ProGrip Mesh (FLAT)	Mesh with self gripping FLAT	15 x 9cm RECTANGLE

AS163	Vacuseal  Vascular Sealant System	5ml Polymer Kit, Sterile, Single-use	1 kit/box

B Braun Australia Pty Ltd

Orthopaedic

BB318	Plasmacup Delta	36mm combination plasmacup HA coated shell & Biolox Delta liner	36mm x 48mm - 54mm diameter

Bard Australia Pty Ltd

Vascular

BA182	PowerPICC	Triple Lumen Power Injector Catheter	6F, 55cm length

BA183	PowerPICC	Dual Lumen Power Injector Catheters	5F, 6F, 55cm Length

BA184	PowerPICC	Single Lumen Power Injector Catheter	5F, 55cm length

Biomet Australia Pty Ltd

Orthopaedic

BI968	ToggleLoc	Femoral Fixation Device	15mm-60mm

BI969	MaxFire	Meniscal Repair Device	one size

BI970	Regenerex Revision Shell	Acetabular support component Porous Ti Alloy	54 to 76mm OD,  44 to 66 ID

BI971	Regenerex Ringloc+	Acetabular shell, solid, limited hole or multi hole, Porous Ti Alloy	48 to 72mm OD

BI972	E-Poly HXLPE Liner	Highly cross linked PE liner, stabilised with Vit E	Liner size 22 to size 28 head sizes 28mm, 32mm,

BI973	Modular Head Implants	Femoral Modular Head	22 - 32mm diameter, - 6 to =12mm neck, collared, no collar

BI974	Modular Head Implants	Femoral Modular Head	36mm diameter , - 6 to + 12mm neck, collared, no collar

Biotronik Australia Pty Ltd

Cardio-thoracic

BT100	LUMAX 540 VR-T	High Energy, Single-Chamber ICD (Implantable Cardiac Defibrillator)	Diamensions: 66*55*13 mm Volume/Weight : 37.2cc/92g

with Advanced Patient Management Via unique Home Monitoring

Technology incorporatin Automatic Threshold Monitoring and

Extended Longevity.

BT101	Lumax 540 DR-T	High Energy, Dual-Chamber ICD (Implantable Cardiac Defibrillator) 	Diamensions: 66*55*13mm, Volume/Weight: 37.2cc/92g

with Advanced Patient Management Via unique Home Monitoring

Technology incorporating Automatic Ventricular Threshold

BT102	Lumax 540 HF-T	High Energy, Three Chamber ICD (Implantable Cardiac Defibrillator)	Diamensions: 66*59*13 mm, Volume/Weight: 39.8cc/94g

with Advanced Patient Management Via unique Home Monitoring

Technology incorporating Automatic RV/LV Threshold Monitoring

and Extended Longevity.

Vascular

BT103	ASTRON PULSAR	The Astron Pulsar is a nitinol self expanding stent, used to treat 	4-12.0mm by 20-200mm

peripheral vessel disease. Is 4Fr compatible and a rapid exhange

delivery system

New Products for Prostheses List Report	Page 4 of 39

Billing 	Product 	Further Description	Size

Boston Scientific Australia Pty Ltd

Cardio-thoracic

BS129	LIVIAN CRT-D	CRT-D (IS-1 and LV-1 connectors)	40cc, 79.5g, 14.5mm

BS130	LIVIAN CRT-D HE	CRT_D RF High Energy (IS-1 and LV-1 connectors)	44cc, 87.5g, 14.5mm

BS132	Teligen 100 HE VR 4-SITE	High energy single chamber ICD with 4-SITE inline RV connector 	30.5cc, 9.9mm

(GDT-LLHH)

BS133	Acuity Spiral	Transvenous Left Ventricular pacing lead	80, 90 & 100cm

BS134	TELIGEN 100 HE DR 4-SITE	High energy dual chamber ICD with 4 SITE (GDT-LLH) inline RV 	31.55cc, 9.9mm

connector

BS135	Teligen 100 DR DF-1/IS-1	High energy dual chamber ICD	31.5cc, 9.9mm

BS136	TELIGEN 100 HE VR DF-1/IS-1	High energy single chamber ICD with DF-1/IS-1 connector	31.5cc, 9.9mm

BS138	COGNIS 100 HE 4-SITE	High Energy CRT-D with 4SITE (GDT-LLHH) inline RV connector	32cc, 9.9mm

BS139	COGNIS 100 HE (DF-1/IS-1 & DF-1/LV-1)	High Energy CRT-D (DF-1/IS-1 & DF-1/LV-1connectors)	32.5cc, 9.9mm

Urogenital

BS131	Pinnacle TM PFR Kit	Pinnacle TM Synthetic Mesh Assembly and fixation device	One Size

Vascular

BS137	EPIC Nitinol Stent	Implantable endoprosthesis nitinol stent system with delivery 	5.0mm - 14.0mm by 20mm - 120mm

Carl Zeiss Pty Ltd

Ophthalmic

CZ014	ZEISS - Acri.Lisa 466TD	Foldable aspheric single-piece intraocular lens with an aspheric toric 	Overall length 11.0mm Optic size 6.0mm

front and an aspheric bifocal back surface, asymmetric light

distribution 65 percent distance and 35 percent near, with 3.75D

addition in the near focus.

CZ015	ZEISS - Acri.Lisa 366D	Foldable aspheric single-piece intraocular lens with an aspheric front 	Overall length 11.0mm Optic size 6.0mm

and an aspheric bifocal back surface, asymmetric light distribution 65

percent distacne and 35 percent near, with 3.75D addtiion in the near

foucs.

CZ016	ZEISS - Acri.Smart 46LC	Aberration corrected, optimized aspheric foldable square-edged 	Overall length 11.0mm Optic size 6.0mm

single-piece intraocular lens for cpasular bag fixation MICS

CZ017	ZEISS - Acri.Smart 36A	ZEISS - Acri.Smart 36A (MICS Aspheric Foldable IOL)	Overall length 11.00mm Optic size 6.0mm

CZ018	ZEISS - Acri.Confort 646TLC	ZEISS - Acri.Confort 646TLC (MICS Bitoric Aspheric Foldable IOL)	Overall length 11.00mm Optic size 6.0mm

ConMed Linvatec Australia Pty Ltd

Orthopaedic

LV110	SmartScrew 2	Self Reinforced 96L/4D Copolymer	length 10-70mm, diameter 2 to 4.5mm, shape fully/partial threaded,

cannulated/non-cannulated

New Products for Prostheses List Report	Page 5 of 39

Billing 	Product 	Further Description	Size

Corin Australia Pty Ltd

Orthopaedic

CR154	Ceramic Modular Head	Biolox Delta	28-40mm

CR155	Extreme Revision Hip Metaphyseal Section	Metaphyseal segment, adjustable rotation, anodized titanium with 	4 sizes

HA coating

CR156	Extreme Revision Hip Monobloc Epiphysis Metaphyseal Section	Combined metaphyseal and epiphyseal sections, adjustable rotation, 	4 sizes

anodized titanium with HA coating

Darco Australia

Orthopaedic

DC026	Rearfoot Plate - RPS	Unique extended plate geometry for plating complex rearfoot 	6 hole - 37mm, 8 hole - 50mm, 14 hole - 66mm

reconstructions, uses 3.5mm locked screws for optimal bone

DC027	Arthrodesis Flat Plate - AFP	Flat plate intended for use in isolated tarsal fusions, titanium locking 	12, 14 & 16mm length

plate, 2mm thickness

DC028	Displacement Plate - DPS	unique steep plate design allows for controlled fixation of 	6, 8 & 10mm step

displacement calcaneal osteotomies. 3 step variations allows for

accurate corrections. 3.5mm Titanium locking plate

DC029	Cannulated Screw	Titanium cannulated screw intended for use in conjunction with a 	3.5mm diameter x 34, 36 & 38mm

plate for fixation of midfoot fusion

DC030	Hot-Staples	Manufactured from Nitinol. Once implanted, staple is heated using a 	11 - 25mm

thermo-cautery system causing the staple shape to reduce and

compress, providing efficient and continued interfragmental

DC031	TOM Plate	Designed for base osteotomies and fusions of MT1 with correction 	L & R: neutral, 1-5mm step

achieved through one cut. It is a titanium locking plate, anatomically

designed with a smaller radius to fit the contour of the first metatarsal

and 5 step variation in 1mm increments for accurate correction.

Denward Dell Pty Ltd

Vascular

DW006	T-Port Contrast set - Vascular access port.	Injection infusion port system: titanium port chamber with silicone 	6163653077:  Port Base 27mm x 13mm, Catheter Diameter 1.3 x

membrane: connectable polyurethane catheter; introducer kit.	2.2mm, Catheter Length 75cm. 6163652087: Port Base 27mm x

13mm, Catheter Diameter 1.6 x 2.6mm, Catheter Length 75cm.

6163663077: Port Base 23mm x 10mm, Catheter Diameter 1.3 x

2.2mm, Catheter Length 75cm.6163662087: Port Base 23mm x

10mm, Catheter Diameter 1.6 x 2.6mm, Catheter Length 75cm.

Design for Vision Pty Ltd

Ophthalmic

DV233	Rayner Sulcoflex Aspheric Toric Pseudophakic Secondary I.O.L - 	Acrylic, Aspheric, Toric Pseudophakic Secondary IOL :  Sulcus-	6.5mm / 13.5mm - 5.0D+5.0D Spheres : Increments up to  + 5.00D

Standard	fixated with Undulating Haptics and Posterior Haptic Angulaiton	Cylinder

DV234	Rayner "Sulcoflex" Aspheric Multi-focal Pseudophakic Secondary IOL	Acrylic, Aspheric Multi-focal Pseudophakic Secondary IOL: Sulcus-	6.5mm / 13.5mm - 5.00D+5.00D sphere with  + 3.00 Addition

Fixated with Undulating Haptics and Posterior Haptic Angulation

DV235	Rayner Sulcoflex Aspheric Toric Pseudophakic Secondary IOL 	6.5mm/13.5mm - 5.0D to +5.0D sphere: increments up to 11.0D 	6.5mm/13.5mm - 5.0D sphere: increments up to 11.0D cylinder

(Premium)

New Products for Prostheses List Report	Page 6 of 39

Billing 	Product 	Further Description	Size

DV236	Rayner "Sulcoflex" Pseudophakic I.O.L.	"Sulcoflex" Aspheric Pseudophakic I.O.L	-5D to +5D

DV237	Rayner "M-Flex" Mulitfocal Foldable IOL	Acrylic, Foldable, Single piece multi-zoned refractive aspheric 	6.5mm Optic-Overall diameter 12.5mm: +3D or + 4D Addition:

multifocal with Amon-Apple 360 Degree Square edge, Anti Vaulting 	+14D to +25D in 1.0D increments: +8.5D to +23.5D in 0.5D

Haptics

DV238	Rayner M-Flex Toric (Standard)	Acrylic, Foldable, Single Piece, Multi-zoned Refractive Aspheric 	5.75mm / 12.0mm: 6.25mm / 12.5mm +3.00D or +4.00D Addition

Toric Mulitfocal with Amon-Apple enhanced 360 degree Square 	FAR: +14.0D to +32.00D in 0.5 STEPS: +2.00D Cylinder. NEAR:

edge, Anti Vaulting Haptics	+14.0D to 27.0D in 0.5 STEPS: +2.00D Cylinder

DV239	Rayner "M-Flex" Toric (Non Standard)	Acrylic, Foldable, Single Piece, Muli-Zoned Refractive, Toric 	5.75/12.0mm: 6.25/12.5mm +3.00D to +4.00D Addition FAR:

Multifocal with Amon-Apple enhanced 360 Degree square edge, 	+14.0D to +32.0D in 0.5D Increments: NEAR: +14.0D to +27.0D in

Anti-vaulting Haptics, Patient Specific.	 0.50D Increments Cylinder: 1.0D to 1.5D and 2.5D to 6.00D in 0.5

DV240	Rayner "C-Flex" and Superflex" Aspheric IOL	Aspheric Intra Ocular Lenses with Amon-Apple enhanced 360 	C-Flex -970C + 22.5D to +34D Superflex-920H - 10D to +22D

Degree square edge, Anti-vaulting Haptics

Device Technologies Australia Pty Ltd

Ophthalmic

DE284	Single Dose Opthalmic Gases	Single dose tamponading gas for retinal surgery	30ml

Orthopaedic

DE285	Lapidus Plate	The Lapidus Plate is a fusion plate	One size only

DE286	Low Profile Screw System	Low Profile Screw	3.0 - 6.7mm x 18 - 120mm

DE287	Low Profile MTP Plate	Arthrodesis Plate	Contoured Left Short, Contoured Right Short, Contoured Left Long,

Contoured Right Long

DE288	Swivelock	Twist- in knotless suture anchor	4.5mm and 5.5mm diameters

DE289	AnaToemic	AnaToemic Phalangial Prosthesis	17mm, 20mm, 21.5mm, 23mm

DE290	H-Plates	Fixation plate for fusions and osteotomies	Plates, Flat - 38mm x 16mm, left,large, 38mm x 16mm, right,large,

34mm x 16mm, left, medium, 34mm x 16mm, right, medium, 28mm x

16mm left,      small, 28mm x 16mm, right,small

Plates, Wedge - 38mm x 16mm, 10mm wedge, left, 38mm x 16mm,

10mm wedge, right,  36mm x 16mm, 8mm wedge, left, 36mm x

16mm, 8mm wedge, right, 34mm x 16mm, 8mm wedge, right

DE291	QuickFix Screw	Small Bone Fixation - Metal	2mm x 10mm, 2mm x 11mm,2mm x 12mm, 2mm x 13mm, 2mm x

14mm, 3mm x 13mm x 3mm x 15mm, 3mm x 17mm, 3mm x 19mm

Urogenital

DE283	Desara Urogenital Sling	Sling for Female Stress Urinary Incontinence and Vaginal Vault 	1.1cm x 4.5cm

Diabetes Australia - New South Wales

General/Miscellaneous

DB002	DANAIISG Insulin Pump	The DANAIISG Insulin Pump is a small device about the size of a 	75 x 45 x 19 mm, 60 grams

pager. It holds up to 300 units of insulin, which is delivered

continuously through a small tube to the patient. The DANAIISG

Insulin Pump also has an integrated blood glucose meter.

New Products for Prostheses List Report	Page 7 of 39

Billing 	Product 	Further Description	Size

DB003	DANAR Insulin Pump	The DANAR Insulin Pump is a small device about the size of a 	75 x 45 x 19mm, 60grams

pager. It holds up to 300 units of insulin, which is delivered

continuously through a small tube to the patient. The DANAR

Insulin Pump also has an integrated blood glucose meter and remote

control via bluetooth communication.

Edwards Lifesciences Pty Ltd

Cardio-thoracic

EL056	Magna Mitral	Carpentier-Edwards PERIMOUNT Magna Mitral Bioprosthesis, 	25, 27, 29, 31 and 33mm

Model 7000TFX

EL057	Geoform	Geoform annuloplasty ring Model 4200 with Holder	26, 28, 30 and 32mm

Endotec Australia Pty Ltd

Orthopaedic

EA038	BUECHEL-PAPPAS SHOULDER REPLACEMENT SYSTEM - 	CANCELLOUS BONE SCREW TiNi COATED	15mm, 20mm & 25mm

BONE SCREW FOR GLENOID FIXATION CUP

Endotherapeutics Pty Ltd

General/Miscellaneous

ET056	Soft Basket Band. INFUSION PORT.	TITANIUM PORT	9.8CMS/13.3CMS

ET058	Soft Basket Band	Adjustable Gastric Band Implant	115 MM CUFF

Urogenital

ET057	Flow Secure Artificial Urinary Sphincter	Artificial Urinary Sphincter with conditional occlusion, inflatable 	One Size

hydraulic device

Energy Orthopaedics Pty Ltd

Orthopaedic

EO001	MRP- TITAN Stem	Modular Revision Titanium stem, straight and curved	140mm  diameter 13-30

EO003	Biolox - Forte Ceramic Head	Biolox Ceramic Head	Diameter 28-32, S,M,L neck length

EO004	MRP-TITAN Stem	Short diopyseal stem	30mm length - diameter 16mm, 18mm, 20mm, 22mm

EO005	MRP-TITAN Screws	Locking screw	Short and long

EO008	Aptus Hand-Plates	Aptus Hand-Plates	1.2/1.5/2.0/2.3/2.5; straight plate 4-16 hole; curved 16 hole; offset 16

hole; T plate, Y plate, L plate 4-10 hole; T plate offset 11-12 hole;

grid-rectangular, trapezoid, angled, square 4 hole-12 hole

EO009	Aptus Radius Locking plates	Aptus Radius Locking plates (fracture plate, correction plate volar, 	2.5mm locking plates, 1.6mm thickness, left and right

correction plate long volar, correction plate with flap volar, correction

plate long with flap volar, frame plate volar, frame plate long volar,

H plate dorsal

EO010	MRP- Titan Stem	Modular Revision Titanium Stem, straight and curved, long and grit 	200mm length  diameter 13-30, 260mm length diameter 11-21,

blast	320mm length diameter 11-21mm

EO011	Atlas Acetabular Cup System	Titanium, grit blast & HA	Atlas Cup 40-74mm

EO012	Atlas Acetabular Cup System	liner polyethylene liner, Titanium & HA	Atlas Poly Insert Std. Dia 28 and 32mm

New Products for Prostheses List Report	Page 8 of 39

Billing 	Product 	Further Description	Size

EO013	Atlas Acetabular Cup System	Screw	Atlas Screw Dia 6.5mm 15-50mm L

EO016	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE	Tibial - Sml/Med/Large

EO017	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE	Talar - Sml/Med/Large

EO018	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE	Poly Insert UHMWPE - Sml 10-16/ Med 11-17/ Large 12-18

EO026	ESOP HA	Esop Femoral body Metaphyseal grit blast Ti/HA, 	Left and Right Size 5-20

EO027	ESOP HA	ESOP Femoral Stem Diaphyseal Ti polished	Size 9-15

EO028	ESOP HA	Femoral Head CoCr	22.2 -32mm

EO029	ESOP HA	Femoral Head Alumina Ceramic	28 and 32mm Diameter

EO032	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip  / Cannulated	Auto Compressive long L10 - L34

EO033	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	FSA 2 part 9-21/14-26

EO034	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Weil self tapping L9 - L15

EO035	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip / Cannulated	Arthrodesis large diameter L28 - L40

EO038	Atlas Acetabular Cup System	liner - ceramic and poly 'Titanium & HA	Atlas Alumina Insert Dia 28mmort

EO040	FH Thira Femoral Stem	Ti & HA Femoral Stem	1-10

EO041	EUROBONE - Synthetic Bone Substitute	EUROBONE	5cc

EO042	EUROBONE - Synthetic Bone Substitute	EUROBONE	10cc

EO043	EUROBONE - Synthetic Bone Substitute	EUROBONE	20cc

EO044	MRP-TITAN Neck Segment	Body without fin with locking screw Cone 12/14, body with fin with	K, M, L

locking screw Cone 12/14, body with trocanter with locking screw

Cone 12/14, special implant for trocanter

EO045	MRP-TITAN Stem	Trochanteric replacement 	Small and Large

EO046	Pharo	Pharo Stem, Titanium with HA	1-5mm

EO047	Pharo	Cephalic Head, CoCr	41-59mm

EO048	Pharo	Intermediate Sleeve	-5 to +10 (six sizes)

EO050	Peter Brehm CoCr femoral heads	CoCr femoral Ball	Diameter 28 & 32, small, medium and large

EO051	ENGlpore	Granules (size 1,0-2,5 mm) 15 cc                                Granules (size 	Granules (size 1,0-2,5 mm) 15 cc                                Granules (size

2,5-4,0 mm) 15 cc	2,5-4,0 mm) 15 cc

EO052	SINTlife	Nanostructured Paste/putty in syringe    5cc	5 cc

EO054	SINTlife	Nanostructured Paste/putty in syringe   10 cc	10 cc

EO055	ENGlpore	Granules (size 1,0-2, 5 mm) 5 cc                                  Granules (size 	Granules (size 1,0-2, 5 mm) 5 cc                                  Granules (size

2, 5-4, 0 mm)5 cc	2, 5-4, 0 mm)5 cc

Plastic and Reconstructive

EO006	Aptus Hand	Aptus Hand-locking screws	2.0mm-2.5mm diameter, 6mm-34mm length

EO007	 Aptus Hand	Titanium cortex screws	1.2-2,5mm diameter, 4mm-34mm

New Products for Prostheses List Report	Page 9 of 39

Billing 	Product 	Further Description	Size

ESKA Australia

Orthopaedic

EK086	Adapter Uncemented Femoral Stem	Co Cr, Titanium Spray, 3 Dimensional Metal, Non HA	Femoral Stem 1 - 7

EK087	Adapter Uncemented Femoral Stem	CoCr, Titanium Spray, 3 Dimensional Metal, HA	Femoral Stem 1 - 7

EK088	2000 Plus Acetabular Metal Shell	CoCr, Titanium Spray, 3 Dimensional Metal, Variable Screw Holes	44-68mm

EK089	2000 Plus Acetabular Metal Shell	CoCr, Titanium Spray, 3 Dimensional Metal, Variable Screw Holes, 	44-68mm

Finsbury Orthopaedics Australia Pty Ltd

Orthopaedic

FI036	APTA Hip Stem	Anatomic, Titanium, HA Coated, Modular Uncemented Femoral 	Sizes 1-8 in Left & Right, Collarless & Collared

FI037	Adler Ceramic Head <32	Ceramic Femoral Heads for Adler Stems.  Biolox Forte and Delta. 	Short, Medium, Long in 28 and 32mm

28,32mmOD

FI038	Adler Metal on Metal Head	Metal on Metal Articulating Femoral Heads for Adler Stems 	Short, Medium, Long in 32,36 and 40 mm

32,36,40mm OD

FI039	Hydra Hip Stem	Tapered, Titanium, HA Coated, Modular Uncemented Femoral Stem	Sizes 9 through 16

FI040	Adler CoCr Head	Cobolt Chrome Femoral Heads for Adler Stems 22,28mm OD	Short, Medium, Long in 22 and 28 mm

FI041	Adler Ceramic Head >32	Ceramic Femoral Heads for Adler Stems. Biolox Forte and Delta. 	Short, Medium, Long in 36 and 40mm

36,40mm OD

FI042	Modula SC Neck	The complete series of MODULA SC necks, all patented, consists of	OX, OY, OZ, OA, OB, OC, 9X, 9Y, 9Z, 9A, 9B, 9C, 9AA, 9BB, 9CC

15 sizes and makes it possible to optimise the reciprocal position of

the stem and neck cup on the basis of the articular needs of the

patient, by restoring the physiological off-set and length.

Compatible with all Adler Modular Hip Stems.

FI043	Finsbury Type C Stem	Tapered, Titanium, HA Coated, Uncemented Femoral Stem	Sizes 7 through 20. Standard & Lateralised

FI044	Finsbury Type S Stem	Tapered, Titanium, Uncemented Femoral Stem	Sizes 5 through 20. Standard & Lateralised

FI045	PIPR Finger Joint	Proximal Interphalangeal Replacement Joint	Sizes 7 through to 11

FI046	Fixa Ti-Por Cup	Porous Matrix Titanium, Screw Holes with Plugs, Hemispherical 	Size 44-66mm

Acetabular Cup

FI047	Adler Bone Screw	Bone Screw for Acetabular Cup	6.5mm Diameter. 20-50mm

FI048	Fixa Cup	Solid Titanium, Porous & HA Coated, Screw Holes with Plugs, 	44-66mm

Hemispherical Acetabular Cup

FI049	Adler Metal Acetabular Liners	Metal Liners - for Fixa Cups	Metal Liner 32.36, 40mm ID

FI050	Adler PE Acetabular Liners	XLPE Liners - for Fixa Cups	Neutral, 15 degree, in 22,28,32,36mm ID

FI051	Adler Ceramic Acetabular Liners	Ceramic Liners - for Fixa Cups	Biolox Forte & Delta, 28,32,36 & 40 mm ID

Global Manufacturing Technology Pty Ltd

Orthopaedic

GM128	Contile Fin II Acetabular, Mueller Cup 28mm and 32mm	Mueller Cup	28mm Neutral and 10 Degree, 32mm Neutral and 10 Degree

New Products for Prostheses List Report	Page 10 of 39

Billing 	Product 	Further Description	Size

GM129	Contile Fin II Acetabular Insert Highly Cross Linked Polyethylene	Acetabular Insert Highly Cross Linked Polyethylene	Diameter 28mm 44mm to 72mm Neutral, and 10 Degree, Diameter

32mm 44mm to 72mm Neutral, and 10 Degree, Diameter 36mm

44mm to 72mm Neutral, and 10 Degree

GM130	Contile Fin II Acetabular Biolox Delta Ceramic Liners	Contile Fin II Acetabular Biolox Delta Ceramic Liner inserts 	Inserts 28mm 44mm to 46mm, Inserts 32mm 48mm to 66mm,

28mm,32mm & 46mm	Inserts 36mm 52mm to 66mm

GM131	Biolox Delta Ceramic Femoral Heads	Biolox Delta Ceramic Femoral Heads 28mm 32mm	Biolox Delta Femoral Head 28mm - -3.5mm to +3.5mm and Biolox

Delta Femoral Head 32mm - 3.5mm to +7mm

GM132	Biolox Delta Ceramic Femoral Heads	Biolox Delta Femoral Head 36mm	Biolox Delta Femoral Head 36mm -4.0mm to +8.0mm

GM133	K2 Global Modular Femoral Stem	K2 Mid Stem	Size 2 to 12

GM134	K2 Global Modular Femoral Stem	K2 Stem	K2 Stem Size 2, K2 Stem Size3, K2 Stem Size 4, K2 Stem Size 5, K2

Stem Size 6 , K2 Stem Size 7, K2 Stem Size 8, K2 Stem Size 10, K2

Stem Size 11,

GM135	Edinburgh Ceramic Femoral Head	Ceramic, Biolox Forte	36mm, -4.0mm to +8.00mm

GM136	Edinburgh Ceramic Femoral Head	Ceramic, Biolox Forte	28mm Small, Medium, Long                                          32mm Small,

Medium, Long

GM137	Edinburgh Femoral Head CoCr	Femoral Head CoCr 36mm	36mm, -4.0mm to +8.00mm

GM138	Edinburgh Femoral Head CoCr	Femoral Head CoCr 28mm to 32mm	Small, Medium, Long

GM139	Bio Ball Femoral Head Biolox Forte	BioBall Femoral Head Biolox Forte	36mm

GM140	Bio Ball Femoral Head Biolox Forte	Bio Ball Femoral Head Biolox Forte	28mm,  32mm

GM141	Edinburgh Femoral Stem Distal Centraliser	PMMA - Distal Centraliser	35 x 10mm

GM142	Edinburgh Femoral Stem Distal Centraliser	PMMA - Distal Centraliser	25 x 10mm

GM143	SMR Femoral Stem	SMR Distal Component 240mm	SMR distal component 14x 240mm, SMR distal component 16 x

240mm, SMR distal component 17x240mm, SMR distal component

18 x 240mm, SMR distal component 19 x 240mm, SMR distal

component 20 x 240mm, SMR distal component 22 x 240mm

GM144	SMR Femoral Stem	SMR Distal Component <200mm	SMR Distal Component 14 x 160mm, SMR Distal Component 16 x

160mm, SMR Distal Component 17 x 160mm, SMR Distal

Component 18 x 160mm, SMR Distal Component 19 x 160mm,

SMR Distal Component 20 x 160mm, SMR Distal Component  22 x

160mm, SMR Distal Component 14 x 200m, SMR Distal

Component 16 x 200m SMR Distal Component 18 x 200mm, SMR

Distal Component 20 x 200mm, SMR Distal Component 22 x

GM145	BioBall Femoral Head	Femoral Head CoCr	36mm

GM146	BioBall Femoral Head	Femoral Head CoCr	28mm,  32mm

Global Medical Solutions Australia Pty Ltd

General/Miscellaneous

GL007	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed radioactive sources containing 	Advantage I-125 seeds are  0.8 mm in diameter and 4.5 mm in length

Iodine-125. They are intended to interstitial brachytherapy.

Advantage I-125 Pre-load consists of Advantage I-

125 seeds pre-loaded as linked or 'stranded' seeds(similar to RAPID

Strand RX ) on prescription into brachytherapy needles specifically

for treatment of an individual patient. They arrive sterile and pre-

packaged ready for use in theatre.

New Products for Prostheses List Report	Page 11 of 39

Billing 	Product 	Further Description	Size

Global Orthopaedic Technology

Orthopaedic

GO180	Actifuse Flow	Actifuse Flow	3ml

GO181	Actifuse Flow	Actifuse Flow	5ml

GO182	Actifuse Flow	Actifuse Flow	1.5ml

GO183	Actifuse ABX MIS	Actifuse ABX MIS, Applicator and Cartridge, 7.5ml	7.5ml

GO184	Actifuse ABX MIS	Actifuse ABX MIS, Refill Cartridge, 7.5ml	7.5ml

GO185	R120 Metal Femoral Head	R120 Metal Femoral Head >32mm	36mm

GO186	R120 Metal Femoral Head	R120 Metal Femoral Head <32mm	28mm, 32mm

GO187	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head > 32mm	36mm

GO188	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head <32mm	28mm - 3.5mm to +3.5mm                                             32mm -

4.0mm to +4.0mm

Global Scientific Pty Ltd

Neurosurgical

GS289	DuraGen	Collagen dural graft matrix	2.5cm x 2.5cm

GS290	DuraGen Plus	Collagen dural graft matrix	2.5cm x 2.5cm

GS291	DuraGen	Collagen dural graft matrix	2.5cm x 7.5cm

GS292	DuraGen Plus	Collagen dural graft matrix	2.5cm x 7.5cm

GS293	DuraGen Suturable	Collagen dural graft matrix	2.5cm x 7.5cm

GS294	DuraGen	Collagen dural graft matrix	5cm x 5cm

GS295	DuraGen Plus	Collagen dural graft matrix	5cm x 5cm

GS296	DuraGen Suturable	Collagen dural graft matrix	5cm x 5cm

GS297	DuraGen	Collagen dural graft matrix	7.5cm x 7.5cm

GS298	DuraGen Plus	Collagen dural graft matrix	7.5cm x 7.5cm

GS299	DuraGen Suturable	Collagen dural graft matrix	7.5cm x 7.5cm

GS300	DuraGen	Collagen Dural graft matrix	10cm x 12.5cm

GS301	DuraGen Plus	Collagen dural graft matrix	10cm x 12.5cm

GS302	DuraGen Suturable	Collagen dural graft matrix	10cm x 12.5cm

Hospira Pty Limited

General/Miscellaneous

HO003	Gemstar infusion system administration cassette and set	Administration cassette and set for use with Gemstar infusion pump 	2.2 micron filter

series

New Products for Prostheses List Report	Page 12 of 39

Billing 	Product 	Further Description	Size

Integra Neurosciences Pty Ltd

Neurosurgical

IG001	Horizontal-Vertical (H-V) Lumbar valve system	The H-V Lumbar Valve adjusts to changes in posture to maintain 	903-325A  85-125   205-285  small children, 903-335A  85-125  265-

pressure appropriate levels in both standing and recumbent 	365  tall children, adults,  903-345A  85-125  325-445 tall adults,

positions.  Has a unique anti-gravity mechanism automatically 	903-320A  50-80  170-240  small children, 903-330A  50-80  230-

increasing flow resistance when the patient resumes a standing or 	320 tall children, adults, 903-340A  50-80,  290-400 tall adults

sitting position, this dramatically reducing the risks of siphoning and

all related complications.

Interventional Dynamics

Vascular

ID001	ALN Permanent or Retrievable Vena Cava Filter	The ALNA Vena Cava Filter is impanted into the SVC via the 	The ALN vena cava is one size, suitable for a diameter up to 32 mm.

femoral, brachial or jugular vein to prevent pulmonary emboli (PEs).

IQ Medical

Ophthalmic

IQ005	Densiron	Heavy Tamponade Liquid Medium, Postoperative	10 ml, Sterile

IQ006	Siluron 1000 & Siluron 5000	Silicone Oils	10 ml, Sterile

IQ007	Blueron	Eye Dye	0.5 ml, Sterile

IQ008	Octane & Decalin	Perfluorocarbon retinal tamponade medium, intraoperative	5ml & 7ml, Sterile

Johnson & Johnson Medical Pty Ltd

Cardio-thoracic

JJ670	Presillion CoCr Coronary Stent on RX System	Cobalt Chromium, bare metal coronary stent	Stent Length (mm) x Stent Diameter (mm) 8 x 2.50, 2.75, 3.0, 3.50,

4.0; 12 x 2.50, 2.75, 3.0, 3.50, 4.0; 17 x 2.50, 2.75, 3.0, 3.50, 4.0; 24 x

2.75, 3.0, 3.50, 4.0; 33 x 2.75, 3.0, 3.50, 4.0; 33 x 2.75, 3.0, 3.50, 4.0,

20 x 2.50, 2.75, 3.0, 3.50, 4.0

General/Miscellaneous

JJ700	Ethicon Intercoat Absorabable Adhesion Barrier Gel	Combination of Polyethylene Oxide (PEO) and Sodium 	2 x 20ml Sterile Syringes, 1x Applicator

Carboxymethylcellulose stabilised with Calcium and made isotonic

with Sodium Chloride. Kit contains 2 x 20ml Sterile Syringes, 1 x

Neurosurgical

DY518	Isola System (Stainless Steel)	Domino Connector	1/4" & 3/16"

DY519	Isola System (Stainless Steel)	Offset Connector	1/4" & 3/16"

JJ671	Viper2 Spinal System	Straight, Kyphosed and Lordosed Rods	30-480mm

JJ690	Mountaineer OCT Spinal System - OC screw	Occipital - titanium bone screw	4.5 - 5.25 x 6 - 16

JJ691	Mountaineer OCT Spinal System - Inner screw	Titanium inner screw	One size only

JJ692	Mountaineer OCT Spinal System - Lateral Offset, Cable and J Hook 	Lateral Offset, Cable and J Hook Connector	One size only

Connector

JJ693	Mountaineer OCT Spinal System - Pre-bent Rod	Pre-bent Titanium Rod	3.5 x 200 - 85mm or 3.5 x 120 - 85 mm

New Products for Prostheses List Report	Page 13 of 39

Billing 	Product 	Further Description	Size

JJ694	Mountaineer OCT Spinal System -Lateral washer plate	Titanium Occipital - Lateral Washer Plate	One size only

JJ695	Mountaineer OCT Spinal System - OC Plate	Titanium Occipital Plate	31 - 45mm

JJ699	Iriom ramp	Carbon fibre fusion ramp	5 degrees and 7.5 degree lordosis, 9-17 mm anterior heights

JJ736	Confidence Spinal cement system	Spinal Bone Cement PMMA and Percutaneous Administration Kit	11 cc

JJ738	Expedium Spine System	DI Favoured Angle Reduction Tab Polyaxial Screw	4.35-7mm x 20-65mm

JJ739	Expedium Spine system	Open and closed Polyaxial connectors with or without end tab	5.5 x 6.35 x 20-200mm

JJ740	Duraform Dural Graft Implant - 1" x 1" (2.5x2.5cm)	Collagen-based dural graft implant	1'x1' (2.5x2.5cm)

JJ741	Duraform - 1" x 3" (2.5x7.5cm)	Collagen-based dural graft implant	1x3"(2.5x7.5cm)

JJ742	Duraform Dural Graft Implant - 2" x 2"(5x5cm)	Collagen-based dural graft implant	2'x2' (5x5cm)

JJ743	Duraform Dural Graft Implant - 3" x 3" (7.5 x 7.5cm)	Collagen-based dural graft implant	3" x 3" (7.5 x 7.5cm)

JJ744	Duraform Dural Graft Implant - 4" x 5" (10x12.5cm)	Collagen-based dural graft implant	4" x 5" (10x12.5cm)

JJ758	Anterior Isola System	Washer	One Size only

JJ759	Anterior Isola System	Single hole staple	16 - 22mm

JJ760	Moss Miami (Titanium)	Swedge Rod	One Size

JJ761	Moss Miami (Titanium)	Slotted Hook	One Size

JJ762	Moss Miami (Titanium)	Inner set screw	One Size

JJ763	Moss Miami (Titanium)	Outer nut	One Size

JJ764	Moss Miami (Stainless Steel)	Swedge Rod	One Size

JJ765	Moss Miami (Stainless Steel)	Slotted Hook	One Size

JJ766	Expedium SFX Cross Connector System	Fixed Length Cross Connector	15mm - 36mm Length, 4.5, 5.5, 6.35mm rod diameter

JJ767	Expedium SFX Cross Connector System	Variable Length Cross Connector	26mm - 100 mm Length, 4.5, 5.5, 6.35mm rod diameter

JJ768	Frontier Anterior Scoliosis System	Washer	One size only

JJ769	Frontier Anterior Scoliosis System	Staple	Single and dual hole

JJ770	Expedium Spine System	Washer	Various

JJ771	Expedium Spine System	Staple	Various

JJ772	Anterior Isola System	Open Monoaxial Screw	1/4 x 5.5 - 7mm x 20 - 55mm

JJ773	Anterior Isola System	Closed Monoaxial Screw	1/4 x 5.5 - 7mm x 20 - 55mm

Orthopaedic

DY510	SROM  Femoral  Calcar Replacement Stem, long	Titanium, fluted, distal polished femoral long stem & neck, bowed 	9 -21mm diameter, greater than 200mm length

and straight with Calcar Replacement

DY511	SROM Femoral Stem Long	Titanium, fluted, distal polished femoral long stem & neck, bowed 	9 -21mm diameter, greater than 200mm length

and straight

DY512	Pinnacle Acetabular Cup System	Pinnacle ceramic liner	44 - 66mm

DY513	Pinnacle Acetabular Cup System	Pinnacle Ultamet metal liner	44 - 66mm

DY514	Kar Femoral Stem	Titanium, grit blast, full HA coating, fluted distally	Sizes ≤12, (length less than 200mm)

DY515	Kar Femoral Stem	Titanium, grit blast, full HA coating, fluted distally	Sizes 14 - 20, (length 200mm & greater)

New Products for Prostheses List Report	Page 14 of 39

Billing 	Product 	Further Description	Size

DY516	Solution Implantable Hip System	Revision Standard & MMA 8 straight or bowed porous coated 	6 inch (150mm) size 10.5 - 22.5

collarless, coxa vara or high offset uncemented stem

DY517	Solution Implantable Hip System	Revision Standard & MMA 8 straight or bowed porous coated 	8 inch (200mm) size 10.5 - 22.5

collarless, coxa vara or high offset uncemented stem

DY520	Pinnacle Acetabular Shell	Titanium, beaded (Duofix), multiple holes, variable spike 	38 - 80mm

arrangements, can be used with ceramic, metal and UHMWPE liners

DY521	Pinnacle Acetabular Shell	Titanium, beaded (Porocoat), not HA, multiple holes, variable spike 	38 - 80mm

arrangements, can be used with ceramic, metal and UHMWPE liners

JJ672	VersaNail IM Nailing Platform	Troch Entry and Universal Femoral Nails, Titanium, Locking, 	9-13mm x 28-48CM

cannulated.

JJ673	VersaNail IM Nailing Platform	Humeral Nails, Universal and Proximal, Titanium, Locking, 	7-10 mm x 150-280cm

JJ674	VersaNail IM Nailing Platform	Tibial Nails, Titanium, Locking, cannulated.	8-13mm x 28.5 - 39cm

JJ675	VersaNail IM Nailing Platform	End caps for VersaNail IM Nail Platform	Flush, impinging & 5-15mm

JJ677	Versalok Bone Anchor System	Anchor, sterile, pre-mounted on inserter shaft	One size only

JJ678	Versalok Bone Anchor System with Orthocord	Anchor, sterile, pre-mounted on inserter shaft with 2 free strands of 	One size only

Orthocord suture

JJ680	Polyax Plating System	Cortical Locking Screw, Titanium	8-60mm

JJ681	Polyax Plating System	Distal Femoral Locking Plate, Titanium	6-18 holes

JJ682	Polyax Plating System	Polyaxial Cancellous Cannulated Locking Screw, Titanium	25-90mm

JJ683	Polyax Plating System	Polyaxial Cancellous Locking Screw, Titanium	25-100mm

JJ684	Polyax Plating System	Cancellous Non-Locking Screw, Titanium	40-100mm

JJ685	Polyax Plating System	Cancellous Locking Screw, Polyaxial, Titanium	50-100mm

JJ686	Polyax Plating System	Proximal Tibial Locking Plate, Titanium	2-14 holes

JJ689	Marathon Cup System Cemented Acetabular Cup	Cemented modified UHMWPE acetabular cup with flange	Inner diameter 22-36mm, outer diameter 38-53mm

JJ696	Lupine BR Anchor System	Biocryl Rapide anchor with two strands of Orthocord suture	One size only

JJ697	LCS Total Knee System - Replacement Patella Polyethylene	Replacement UHMWPE insert for LCS mobile bearing patella	Small+ to Large+

JJ698	Bioknotless BR Bone Anchor System	BIOKNOTLESS BR anchors with Orthocord or Panacryl suture	One size only

JJ701	Gyros Hip System	Dual mobility acetabular cup, stainless steel, grit blasted with HA 	44-68mm

and flanges for screw fixation

JJ702	Gyros Hip System	Dual mobility acetabular cup, stainless steel, grit blasted with HA	44-68mm

JJ703	Gyros Hip System	Dual mobility constrained liners, unmodified UHMWPE for Gyros 	44-68mm

JJ704	Gyros Hip System	Stainless steel screws for Gyros acetabular cup with flanges	20 - 65mm

JJ705	LPS & SROM Systems - Hinge Pin	Rotating Hinge Axle - uncemented, CoCr	xxsmall - medium

JJ706	LCS, PFC & SROM Knee System - Universal Fully Porous Femoral 	Universal Fully Beaded (Porocoat) Femoral Metaphyseal Titanium 	31-46mm

Metaphyseal Sleeve	Sleeve

JJ707	ATN Trochanteric Nail System	Titanium anti-rotational screw for Trochanteric nail	Size 70-100mm

JJ708	ATN Trochanteric Nail System	Titanium lag screw for Trochanteric nail	80-120mm

JJ709	ALPS - Anatomic Locked Plating System	3.5MM Titanium 100° Tubular Plate	1-4 holes

JJ710	ALPS - Anatomic Locked Plating System	3.5MM Titanium LOCKING COMPRESSION PLATE	5-10 hole plates

New Products for Prostheses List Report	Page 15 of 39

Billing 	Product 	Further Description	Size

JJ711	ALPS - Anatomic Locked Plating System	3.5MM Titanium 100° Tubular Plate	5-10 holes

JJ712	ALPS - Anatomic Locked Plating System	3.5MM Titanium LOCKING COMPRESSION PLATE	11-20  hole plates

JJ713	ALPS SFS	Cancellous Titanium Bone Screws	10-70MM

JJ714	ALPS SFS	Cancellous Titanium Locking Bone Screws	10-70MM

JJ715	ALPS SFS	Cannulated Cancellous Titanium Bone Screws	10-70MM

JJ716	ALPS SFS	Cortical Titanium Bone Screws	2.7-3.5 x6-70MM

JJ717	ALPS SFS	Cortical Locking Titanium Bone Screws	6-70MM

JJ718	ALPS - Anatomic Locked Plating System	Titanium locking spider plates	Small - large and offset

JJ719	ALPS SFS	Flat and cupped Titanium washers	Flat and cupped

JJ720	ALPS LFS	4.5mm locked narrow and broad 1-4 hole titanium compression plate	1-4 hole

JJ721	ALPS LFS	4.5mm locked narrow and broad 5-10 hole titanium compression 	5-10 hole

JJ722	ALPS LFS	4.5mm locked narrow and broad 11-20 hole titanium compression 	11-20 hole

JJ723	ALPS LFS	Cancellous Titanium locking screws	26-100MM

JJ724	ALPS LFS	Cancellous Titanium non-locking screws	6.5mm x 110mm

JJ725	ALPS LFS	Cortical Titanium locking screws	8-100MM

JJ726	ALPS LFS	Cortical Titanium non- locking screws	4.5mm x 14-70mm

JJ727	ALPS LFS	Offset, Reconstruction and 4.5mm Spider and T-plates, Titanium	4-25 holes

JJ728	ALPS LFS	Flat and cupped Titanium washers	4.5-6.5mm

JJ729	ALPS Anatomic Locked plating system	Anterolateral and Medial Distal Tibial Anatomic Locking Plate, 	5-10 holes

Titanium

JJ730	ALPS-Anatomic Locked Plating system	Anterolateral and Medial Distal Tibial Anatomic Locking Plate, 	11-20 holes

Titanium

JJ731	ALPS Distal Tibia	Polyaxial Titanium locking screws	20-60mm

JJ737	Compression Hip Screw System	Compression hip screw plate, stainless steel	25-38mm, 2-16 holes, 95-150 degrees

JJ749	SROM Femoral Stem	Titanium, fluted, distal polished femoral stem & neck	Sizes 6-21

JJ750	SROM Calcar Replacement Femoral Stem	Titanium, fluted, distal polished femoral stem & neck, with calcar 	Sizes 6-21

replacement

JJ751	DePuy Ceramic Heads	Ceramic (Biolox Forte) Femoral head various tapers & neck lengths	≤32mm

JJ752	DePuy Delta Heads	Delta femoral head various tapers & neck lengths	≤32mm

JJ753	Hardinge Cement Restrictor	UHMWPE cement restrictor	One size only

JJ754	DePuy Femoral Cement Restrictor	UHMWPE cement restrictor	Size 0 to 10

JJ755	OGEE Cemented Cup	UHMWPE cup, cemented	22 - 32mm inner diameter, 40-53mm outer diamter

JJ756	Wroblewski Cemented Cup	UHMWPE cup, cemented	22mm inner diamter, 40 - 53mm outer diameter and angled bored

JJ757	LPW Cemented Cup	UHMWPE cup, cemented	28mm inner diameter, 40 - 53mm outer diameter

New Products for Prostheses List Report	Page 16 of 39

Billing 	Product 	Further Description	Size

Plastic and Reconstructive

JJ687	PDS Plates	Absorbable synthetic (poly-p-dioxanone) plate/foil	0.25mm x 30mm x 40mm                                              0.5mm x 30mm

x 40mm                                                0.25mm x 40mm x 50mm

0.5mm x 40mm x 50mm

0.15mm x 40mm x 30mm                                              0.15mm

x 50mm x 30mm

JJ732	Bioplate  - Biomesh 1MC	1MC (0.3mm) thick titanium malleable mesh	36 x 43mm

JJ733	Bioplate - Biomesh 3MC	3MC (0.6mm) thick titanium malleable mesh	36 x 52mm

JJ734	Bioplate - Two hole straight plate with 2 self drilling screws sterile kit	Sterile low profile kit -2 hole plate w/ 2 self drill scews	11-19mm plates and 3-5mm self-drilling screws

JJ735	Bioplate - 2 x two hole straight plate with 4 self-drilling screws sterile 	Sterilised low profile kit containing 2 x 2 hole compression plates and	11 - 19mm plates and 3-5mm self drilling screws

4 x self-drilling screws

Urogenital

JJ676	GYNECARE PROSIMA  Anterior Pelvic Floor Repair System	Precut gynaemesh PS and single use instruments for mesh placement.	1 x Pieces of GYNECARE GYNEMESH PS* Mesh (approximately

Includes vaginal support device	80mm x 60mm).  1 x Vaginal Support Device, 1 x Syringe, 1 x

Posterior  Inserter

JJ679	GYNECARE PROLIFT + M Anterior Pelvic Floor Repair System	Pre-cut GYNECARE GYNEMESH M* Partially Absorbable mesh 	One size only

and single use instruments for mesh placements

JJ745	GYNECARE PROSIMA Combined Pelvic Floor Repair System	Pre-cut gynemesh PS and single use instruments for mesh placement	2 x Pieces of GYNECARE GYNEMESH PS* Mesh (approximately

80mm x 60mm).  1 x Vaginal Support Device, 1 x Syringe, 1 x

Anterior Inserter, 1 x Posterior Inserter

JJ746	GYNECARE PROSIMA Posterior Pelvic Floor Repair System	Pre - Cut gynemesh PS and single use instruments for mesh placement	1 x Pieces of GYNECARE GYNEMESH PS* Mesh (approximately

80mm x 60mm).  1 x Vaginal Support Device, 1 x Syringe, 1 x

Posterior  Inserter

JJ747	GYNECARE PROLIFT+M combined Pelvic Floor Repair System	Pre-cut GYNECARE GYNEMESH M* Partially Absorbable mesh 	One Size Only

and single use instuments for mesh placement

JJ748	GYNECARE PROLIFT+M Posterior Pelvic Floor Repair System	Pre-cut GYNECARE GYNEMESH M* Partially Absorbable mes 	Once Size Only

and single use instruments for mesh placement

Vascular

JJ688	Palmaz Blue .014 Renal Stent System (on Aviator Plus)	CoCr balloon expandable stent	12, 15, 18, 24mm Lengths                                        40, 50, 60, 70mm

diameters                                    80, 142cm shaft lengths

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

Vascular

KA018	Palindrome	Haemodialysis catheter	14.5Fr. 19, 23, 28, 33, 55cm Insertion Lengths, with 36, 40, 45, 50,

72cm Overall length, with side slots, symmetric tip

KA019	Mahurkar 12Fr Triple Lumen Catheter	Mahurkar 12Fr Triple Lumen Catheter Curved Extension Kit	12Fr - 13cm, 16cm, 19cm & 24cm lengths available

KA020	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter	Mahurkar 13.5Fr Q-Plus Curved Extension Double Lumen Catheter 	13.5Fr - 13.5cm, 16cm, 19cm & 24cm lengths available

Lifehealthcare Pty Ltd

Ear, Nose & Throat

LH404	NeoZoline Otological Ventilation Tubes	Armstrong, Collar Button, Shepard, Reuter, Donaldson, Paparella, 	1.10mm, 1.14mm, 1.27mm, 1.40mm, 0.76mm

New Products for Prostheses List Report	Page 17 of 39

Billing 	Product 	Further Description	Size

General/Miscellaneous

LH377	Durasphere FL	Composition: Pyrolitically carbon coated silica bead in an aqueous 	Syringe 1ml

gel. Injectable bulking agent for the treatment of Faecal Incontinence.

Syringe plus needle.

LH378	Durasphere FL	Composition: Pyrolitically carbon coated silica bead in an aqueous 	Syringe 3ml

gel. Injectable bulking agent for the treatment of Faecal Incontinence.

Syringe plus needle.

LH405	Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon IR Sponge	Gelita- Spon IR is a sterile, single-use, fully bioabsorbable gelatin 	GS-322-Gelita-Spon IR Sponge; 200s-3x2x2mm

sponge indicated to achieve rapid haemostasis(e.g. surgically or 	                                        GS- 344- Gelita- Spon IR Sponge; 100s-

trauma induced) by tamponade, and arterial embolisation. also 	4x4x4mm

indicated for use as a vehicle for a wide range of therapeutic agentsm

including antibiotics, thrombin and chemotherapeutics without

reduction in the sponge's haemostatic effect.

LH408	Geli Putty(Powder, 1g)	Geli Putty is a single- use, water insoluble, fully bioabsorbable gelatin	1 gram

powder comprising milled sponges( Gelita-Spon) made from 100%

pharmacuetical grade porcine gelatin mixed with sterile liquid (e.g.

saline or antibiotic solution) prior to use to form a putty. indicated to

achieve rapid haemostasis in procedures resulting in cancellous bone

bleeding, and may be applied by smearing over or pressing against the

bleeding surface, or applied via a syringe; and highly selective arterial

embolisation where small particle dimensions (<400µ) are required.

LH410	Gelita-Spon Absorbable Gelatin Sponge Anal-Vaginal Tampon	'Gelita-Spon Anal-Vaginal Tampon is a sterile, single use, fully 	3x8cm

bioabsorbable gelatin sponge  indicated to achieve rapid haemostasis

by tamponade, also indicated for use as a vehicle for a wide range of

therapeutic agents, including antibiotics, thrombin and

chemotherapeutics without reduction in the sponge's haemostatic

LH411	Gelita-Spon Absorbable Gelatin Sponge - Gelita-Spon ENT Sponge	GelitaSpon  ENT Sponge is a sterile, single use, water insoluble, fully	8x5x1 cm & 1x1x1cm

bioabsorbable, firm, high-density gelatin sponge  indicated to achieve

rapid haemostasis during ENT surgery .

LH412	Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon Dental Cube	Gelita-Spon Dental Cube is a  sterile, single-use, indicated to achieve 	GS-310 - Gelita-Spong Dental Cubes; 50s - 10 x 10 x 10mm

rapid haemostasis dental surgery (oral bone and soft tissue), a void

filler to mitigate against the risk of sclerosis created by tooth

extraction, root amputations, and the removal of cysts, tumours and

impacted teeth.  its absorptive capacity being a function of the

amount of gelatin incorporated and, hence, the physical size of the

sponge. also indicated for use as a vehicle for a wide range of

LH413	Miband Access Port (replacement)	A device, metallic or non- metallic, implanted in a patient for a short 	Port Size - 10.6mm High, 24.7mm Base width- One Size only

or long-term delivery of fluid or medications to the vascular system

or other anatomical region. The device consists of a housing, self-

sealing septum and a catheter connection mechanism. The device may

be implanted in a variety of anatomical locations.

New Products for Prostheses List Report	Page 18 of 39

Billing 	Product 	Further Description	Size

LH414	Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon Standard	Gelita-Spon Standard is a sterile, single- use, fully bioabsorbable 	GS-010-Gelita-Spon Standard; 10s-80x50x10m       GS-060-Gelita-

gelatin sponge indicated to achieve rapid haemostasis(e.g. surgically 	Spon Standard Size 12-7; 10s-60x20x7mm

or trauma induced)by tamponade, and arterial embolisation . also 	                            GS-060-Gelita-Spon Standard Size 12-7; 10s-

indicated for use as a vehicle for a wide range of therapeutic agents, 	60x20x7mm                                                                       GS-650-

including antibiotics, thrombin and chemotherapeutics without 	Gelita Spon Standard Size 200; 10s-125x80x10mm

reduction in the sponge's haemostatic effect.	                                    GS-110-Gelita-Spon Standard Size Special 20;

20s-80x50x1mm                                                              GS-950-

Gelita-Spon Standard Film; 20s-200x70x0.5mm

Neurosurgical

LH030	Advanced Spine - Titanium System	C-Spacer (various lengths) Titanium	5/0mm x 5/0mm to 7/5mm x 6/0mm

LH031	Advanced Spine - Titanium System	Hex Bolt  Titanium	20mm, 25mm, 30mm

LH032	Advanced Spine - Titanium System	Support Rod 	5mm x12.0", 18.0", 22.0"

LH033	Advanced Spine - Titanium System	Aluminium Master Rod 	12", 22"

LH034	Advanced Spine - Titanium System	Varigrip Lower Hook Titanium (Zone 1, 2, 3)	Zone 1/2/3

LH035	Advanced Spine - Titanium System	Varigrip Lower Hook Titanium (Zone 1, 2, 3)	Zone 1/2/3

LH036	Advanced Spine - Titanium System	Clamp Bolt Titanium	One size only

LH096	Advanced Spine - Titanium System	200 Ser Ti Screws/Titanium	5/0 x (30, 35, 40, 45mm); 7/5 x (35, 40, 45, 50, 55mm); 6/5 x (35, 40,

45, 50, 55mm); 5/8 x (40, 45, 50, 55mm)

LH100	Advanced Spine - Titanium System	Lower Saddle	1mm

LH101	Advanced Spine - Titanium System	Lower Saddle	14 Degree Left/Right, 7 Degree Left/Right, 2mm, 4mm, 6mm

Increment, 30 Degree Left/Right

LH105	Low Pro Upper Clamp	Upper Clamp	1mm

LH106	Low Pro Upper Clamp	Upper Clamp	14 Degree Left/Right, 7 Degree Left/Right, 2mm, 4mm, 6mm

Increment, 30 Degree Left/Right

LH110	Support Rod	8inch Rod-Titanium	8 inch - Titanium

LH112	Varilift System 	Sleeve nut	One size only

LH115	Low Pro Upper Clamp	Cross Link Assembly 200 Ser Titanium	7/0cm, 8/0cm, 9/0cm

LH116	Aneurism Clip	Sugita Clips, Standard Slightly Curved,	One Size Each

LH117	Aneurism Clip	Sugita Clip, Temporary Straight/S,  Sugita Clip, Temporary 	One Size Each

LH118	Aneurism Clip	Sugita Clips: Standard Straight-Short #1/Long #2	One Size Each

LH119	Aneurism Clip	Sugita Titanium Anneurysm Clips: Standard Straight/s, Straight-L, 	One Size Each

Bayonet, Angled, Straight-Small, STD Temp-STD Small, STD

Temp-Straight/Large, STD Temp-Bayonet, STD Temp-CVD, Mini

Straight-Small, Mini Straight/Large, Mini Curve, Mini Angled, Mini

LH147	Aneurism Clip	Sugita Titanium Clips: Standard Slight Angle, Side CVD, CVD, 	One Size Each

Angled, Bayonet-Small/Large, Straight-Medium, Slight CVD, Straight

Large, L Angle-Small/Medium/Large, 45D CVD

Small/Medium/Large, STD Temp Slight CVD, Temp Mini

New Products for Prostheses List Report	Page 19 of 39

Billing 	Product 	Further Description	Size

LH148	Aneurism Clip	Sugita Titanium Clips: Standard Side CVD Bayonet, Small CVD, Side	One Size Each

Angled, Slight CVD, J Angle-Small/Medium/Large, Slight CVD

Small, Temp Mini Straight Slim, Standard L Curved- Small/Large,

Mini Straight Slim, Curve Slim,

LH149	Aneurism Clip	Sugita Titanium Clips: Booster	One Size Each

LH150	Aneurism Clip	Sugita Clips: Mini Straight Slim, CVD Slim	One Size Each

LH151	Aneurism Clip	Sugita Clips: Fenest, Lrg L Shaped W/CVD	One Size Each

LH152	Aneurism Clip	Sugita Clips, Mini CVD Slim	One Size Each

LH153	Aneurism Clip	Sugita Clips, Long	One Size Each

LH154	Aneurism Clip	Sugita Clip,  Large Straight/Short	One Size Each

LH155	Aneurism Clip	Sugita Clip, Temporary Bayonet, Bent	One Size Each

LH156	Aneurism Clip	Sugita Clip, STD Sideward CVD	One Size Each

LH157	Aneurism Clip	Sugita Clip, Large Sideward Bent, Bent, Bayonnet-Short/Large, 	One Size Each

Straight-Medium/Long

LH158	Aneurism Clip	Sugita Clip, Large L Shaped-Short/Medium/Large, Large J Shaped-	One Size Each

Short/Medium/Large, Fenest Large Straight-S/M/L, Large Bent-

S/M/L, Fenest Large L Shaped-S/M/L

LH159	Aneurism Clip	Sugita Clip, Temporary Mini Straight, Bent, Mini Straight/Short, 	5-7mm length x 1.2mm width, closing force 125gms

Bent, SDEWARD CVD, CVD

LH160	Aneurism Clip	Sugita Clip, Mini CVD	4mm length x 1.2mm width, closing force 120 & 124gms

LH161	Aneurism Clip	Sugita Clip, Mini CVD	5mm length x 1.2mm width, closing force 132gms

LH162	Aneurism Clip	Sugita Clip, Large Slightly Crv-Short/Long	One Size Each

LH163	Aneurism Clip	Sugita Clip, Large 45 D Angle/s, Slightlyn Crv/s, Temporary Slighly 	One Size Each

Crv, Mini Straight Slim, Large 1/4 CVD, Mini

LH164	Aneurism Clip	Sugita Clip, Large Straight, Bayonet, Mini Bayonet	One Size Each

LH165	Aneurism Clip	Sugita Clip, Large L Shaped W/CRV-S/L, 1/4 CVD-S/L	One Size Each

LH166	Aneurism Clip	Sugita Clip, Large 45D Angle-M/L	One Size Each

LH167	Aneurism Clip	Sugita Clip, Fenest Large L Shaped-L, Bayonet	One Size Each

LH168	Aneurism Clip	Sugita Clip, Fenest Large L Shaped W/CVD	One Size Each

LH169	Aneurism Clip	Sugita Clips, Standard Bayonnet, Bent, Sideward Bent, Sideward 	One Size Each

Curve, Slight Bent

LH170	Aneurism Clip	Sugita Clips, Standard Sideward Curve, Curved	One Size Each

LH171	Aneurism Clip	Sugita Clips, Standard Slight CVD, CVD	11mm length x 1.2 width, closing force 125-160gms; 9mm length x

1.2 width, closing force 120-155gms

LH172	SL Upper Hook	Composition - Titanium	Zone 5

LH173	SL Upper Hook	Composition - Titanium	Zone 5

LH181	Rabea Peek Vertebral Body Fusion Implant	Composition - peek, spinal implant	4, 5, 6, 7 x 12 x 14mm, 8 x 12 x 16mm

LH182	Tetris Lumbar Fusion Implant System	Titanium or peek, spinal implant	8-12mm x 11mm

LH192	Blackstone Medical Inc Anterior Cervical Plate System	Titanium alloy plate	L3

New Products for Prostheses List Report	Page 20 of 39

Billing 	Product 	Further Description	Size

LH193	Blackstone Top Locking Plate	Holds bone screws and anterior cervical plate in place	One size only

LH194	Blackstone Medical Inc Anterior Cervical Plate System	Bone Screw, Primary/Rescue Screw	12, 14, 16mm

LH239	Spinal Fixation System	Multi Axial Cross Connector Assembly - Titanium/Lateral Offset	30mm - 75mm in 5mm increments

LH240	Spinal Fixation System	Multi screw - Titanium	5.5 x 35mm up to 55mm in 5mm increments; 6.5 x 35mm up to

60mm in 5mm increments; 7.5 x 35mm up to 60mm in 5mm

LH241	Spinal Fixation System	Rod - Titanium	40mm to 100mm in 10mm increments

LH242	Spinal Fixation System	Rod - Titanium	110 to 450mm (110, 120, 140, 160, 180, 200, 450mm)

LH243	Spinal Fixation System	Set screw spinal system	One size only

LH247	Blackstone - Spinal Fixation System - Mono Axial Screws	Composition - Titanium	5.5mm x 40mm, 5.5mm x 45mm, 6.5mm x 40mm and 6.5mm x 45mm

LH252	Signus - Semial	Composition - PEEK	Height (ant) 7.80, 10.40, 13.20; Diameter 38, 43, 48; Height (post)

5.4, 8.0, 8.1, 10.8; Angle 5.00, 10.40

LH267	Blackstone - Fixed System Washer	Titanium	One Size Only

LH268	Blackstone - Washer	Titanium	2/4/6mm

LH269	Blackstone - Spacer	Titanium	3/5mm

LH270	Blackstone - Posterior Hook	Titanium	Large/Angled/Offset/Left/Right/Narrow/Wide/ThoracicLaminar/Lumb

ar Laminar

LH271	Blackstone - Staple	Titanium	2/4/6mm

LH272	Blackstone - Posterior Cervical System	Crimp Two Pack - Titanium	One size only

LH273	Blackstone - Posterior Cervical System	Double  Loop Cable w/Four Crimps - Titanium	One size only

LH274	Blackstone - Posterior Cervical System	Single Loop Cable w/Two Crimps - Titanium	One size only

LH275	Blackstone - Posterior Cervical System	Occipital Screw	6, 8, 10, 12, 14mm

LH276	Blackstone - Posterior Cervical System	Occipital Anchor	31, 37, 45, 50mm

LH277	Blackstone - Posterior Cervical System	Occipital Rod	One size only

LH278	Blackstone - Posterior Cervical System	Cross-Connector	20, 25, 30, 35, 40, 45, 50mm

LH279	Blackstone - Posterior Cervical System	Rods - Titanium	3.0mmx70, 120, 200mm

LH280	Blackstone - Posterior Cervical System	Mini-Multi-Axial Screw	3.5-4mmx10-30mm (2mm increments)

LH281	Blackstone Set Screw	Titanium	One size only

LH282	Blackstone - End Ring	Surgical Mesh	[Surgical mesh X Angle] 10-16mm (2mm increments) X 0-2.5 degrees

LH283	Blackstone - Standard Ring Screw	Titanium	One size only

LH284	Blackstone - Surgical Mesh	4 lobe, 6 lobe	4 lobe: 12 x 15mm, 8mm - 17 x 22, 15mm, 6 lobe: (diameter x height)

10 - 16 x 10 - 16mm (2mm increments), 7 - 70mm

LH293	Wafer Cartridge Assemby,	Composition: Peek	8 x 20/25/30mm

LH294	Mizuho - Titanium Fenestrated Aneuysm Clips	Straight (S/M/L), Bent (S/ M/L),  L-Shaped (S/M/L), Bayonet,  L 	Closing Force 95 to 160 gms

Shaped curved to left (S/M/L),  L-Shaped curved to right (S/M/L)

LH296	Duraseal Dural Sealant	DuraSeal is a Synthetic, absorbable, Polyethylene Glycon, hydrogel 	5ml of hydrogel sealant

sealant used as an adjunct to sutured dural repair to achieve

watertight closure.

LH303	Nubic	Cervical Fusion Implant in interbody fusion of the Cervical Spine	4x13x14mm, 5x13x14mm, 6x13x14mm, 7x13x14mm, 8x13x14mm

New Products for Prostheses List Report	Page 21 of 39

Billing 	Product 	Further Description	Size

LH310	ICON Modular Spinal Fixation System	Screw	4.5mm - 8.5mm x 25-80mm

LH311	ICON Modular Spinal Fixation System	Multi-axial body assembly	5.5mm

LH312	ICON Modular Spinal Fixation System	Offset body assembly	8, 11, 14mm

LH313	ICON Modular Spinal Fixation System	Set Screw	one size only

LH316	Magerl/Kimba Cage	Endless Carbon Fibre (ECF) in PEEK-Optima	7, 8, 9, 11, 13, 15mm

LH325	Lumbar Screw	ECF in PEEK optima	32, 36, 40, 44, 48, 52, 56, 60, 65mm

LH360	Spinal Fixation System	Pre Lordosed Rods	40mm to 100mm in 10mm increments

LH361	Blackstome Medical Inc Anterior Cervical Plate System	Titanium alloy plate	L1

LH362	Blackstome Medical Inc Anterior Cervical Plate System	Titanium alloy plate	L2

LH363	Unity Lumbar Plate	Unity Plate	17-28mm

LH364	Unity Lumbar Plate	Unity Bone Screw	6-7mm

LH365	Unity Lumbar Plate	Unity Cover Plate	17-28mm

LH369	DuraSeal Xact Spinal Dural Sealant	Xact Dural Sealant for spine )Packaged in sterile single use disposable	2ml vial

tray with MicroMyst Applicator & precurser syringes)

LH370	Signus Mobis Lumbar TLIF Cage	Peek-Optima Lumbar intervertebral TLIF cage	6, 7, 8, 9, 10, 11, 12, 13, 14, 16, 18mm heights

LH382	Signus Anterior Cervical Plate - Bone Screws	Provides stability in patients undergoing anterior cervical spine 	4.0 & 4.5mm diameter x 12-16mm length

fusion procedures. It consists of a pre-contoured titanium plate,

secured onto the spinal vertebrae by either fixed or variable angle

colour coded screws. These screws have an integral lock

LH383	Signus Anterior Cervical Plate - Two level	Provides stability in patients undergoing anterior cervical spine 	38mm-54mm lengths in 2mm increments

fusion procedures. It consists of a pre-contoured titanium plate,

secured ont the spinal vertebrae by either fixed or variable angle

colour coded screws. These screws have an intergral locking

mechanism and expanding thread design

LH384	Signus Anterior Cervical Plate - Three Level	Provides stability in patients undergoing anterior cervical spine 	50mm - 71mm in 3mm increments

fusion procedures. It consists of a pre-contoured titanium plate,

secured onto the spinal vertebrae by either fixed or variable angle

colour coded screws. These screws have an integral locking

mechanism and expanding thread design.

LH385	Signus Anterior Cervical Plate - Four Level	Provide stability in patients undergoing anterior cervical spine fusion 	68mm - 100mm in 4mm increments

procedures. It consists of a pre-contoured titanium plate, secured

onto the spinal vertebrae by either fixed or variable angle colour

coded screws. These screws have an integral locking mechanism and

expanding thread design.

LH386	Blackstone Medical ACP - 3 Level	Titanium Alloy Anterior Cervical Plate - 3 Level	54mm - 68mm in 2mm increments. 70mm - 90mm in 4mm increments

LH387	Blackstone Medical ACP - 2 level	Titanium Alloy Anterior Cervical plate 2 level	38mm - 54mm in 2mm increments

LH388	Blackstone Medical ACP - 1 level	Titanium Alloy Anterior Cervical Plate	20mm - 36mm in 2mm increments

LH389	Signus Athlet VBR System - Main Body	Peek Vertebral Body Replacement System (Main body)	12, 18, 24, 30, 36 and 42mm lengths

LH392	Signus Anterior Cervical Plate - One Level	Provides stability in patients undergoing anterior cervical spine 	22mm to 36mm in 2mm increments

fusion procedures. It consists of a pre-contoured titanium plate,

secured onto the spinal vertebrae by either fixed or variable angle

colour coded screws. These screws have an integral locking

mechanism and expanding thread design.

New Products for Prostheses List Report	Page 22 of 39

Billing 	Product 	Further Description	Size

LH393	Blackstone Construx Mini PEEK VBR System	The Construx Mini is an anterior Cervical Interbody PEEK Cage	12mm x 12mm 5 degrees lordotic. 5mm-12mm in 1mm increments.

12mm x 12mm, Parallel. 5mm - 12mm in 1mm increments. 15mm x

12mm, 5 degrees lordotic. 5mm - 12mm in 1mm increments. 15mm x

12mm, Parallel. 5mm-12mm in 1mm increments

LH394	Blackstone Medical Pillar AL	Anterior Lumbar Interbody Fusion PEEK cage	26mm x 20mm, 7 degrees (lordotic). 8-20mm height in 2mm

increments. 30mm x 24mm, 0 degrees (parallel). 8mm 18mm height in

2mm increments. 30mm x 24mm, 7 degrees (lorotic). 10-22mm

height in 2mm increments. 30mm x 24mm, 12 degrees (lordotic). 12-

24mm height in 2mm increments. 34mm x 28mm, 12 degrees

(lordotic). 12-24mm height in 2mm increments

LH395	Blackstone Medical Pillar PL	Posterior Lumbar Interbody Fusion PEEK Cage	9mm x 23mm, 0 degrees (parallel). 8mm - 16mm height in 1mm

increments. 9mm x 23mm, 8 degrees (lordotic). 8mm-16mm height in

1mm increments

LH396	Blackstone Medical Pillar TL	Transforaminal Lumbar Interbody Fusion PEEK cage	9mm x 27mm, 0 degrees (parallel). 8mm -16mm height in 1mm

increments. 9mm x 27mm, 8 degrees (lordotic). 8mm -16mm height in

1mm increments

LH397	Signus Athlet VBR System - End Body	Peek Vertebral Body Replacement System (End body)	4, 6, 8mm heights

LH398	Blackstone Medical ACP Bone Screw	Titanium Alloy Bone Screw	4.1mm x 10mm - 18mm. 4.5mm x 10mm - 18mm

Orthopaedic

LH009	Lyderic II Monotige Femoral Stem	Cemented Stainless steel polished	Sizes 6 - 11

LH062	Groupe Lepine	Acetabular Screws	5.5mm dia in 15mm-60mm length 5mm increments

LH064	Groupe Lepine	Bipolar shell and UHMPE liner	42 - 60mm in 1mm increments

LH065	Groupe Lepine Total Hip Replacement	Stainless Steel Head	.-5mm/0mm/+5mm/ +10mm

LH067	Groupe Lepine Total Hip Replacement	Cemented Stainless steel polished	Size 6, 7, 9, 9, 10, 11

LH068	MBA / Pavi	Titanium, grit blast with HA	46 - 64mm in 2 mm increments & 0 or 10 Degrees

LH069	MBA stem 	Titanium, grit blast with HA	1 - 8

LH174	GL - U Hooded Liner	Hooded/Flat Insert	46, 48, 50, 52, 54, 56, 58, 60, 62, 64mm

LH175	B2C Espace Acetabular Cup	Acetabular cage	Espace Shell 0 degrees peak - diam 50mm, 54mm, 58mm, 62mm with

plastic insert, Espace Shell 20 degrees peak - diam 50mm, 54mm,

58mm, 62mm with plastic insert,  Espace Shell 8mm extension - diam

50mm, 54mm, 58mm, 62mm with plastic insert, Espace Shell 14mm

extension - diam 50mm, 54mm, 58mm, 62mm with plastic insert,

Espace Shell 20mm extension - diam 50mm, 54mm, 58mm, 62mm

with plastic insert,

LH177	GL - Alumina U Liner	Ceramic Insert Biolox	46-64mm (increment by 2mm)

LH183	Lyderic II HA Modular Stem	Titanium, plasma with HA	Size 6-11

LH184	Modular U Necks	Cobalt chrome	Standard, varus, valgus, antiverted right, antiverted left

LH197	SR Hand Implant System	SR Hand MCP/PIP/TMC (Basal Thumb) Implants - CoCr- Titanium	XS/S/M/L/XL, 1,2,3,4,5

Alloy, UHMWPE

LH220	10/12/14 Alumina Head BOTA	Alumina Head biolox forte	28mm (-3.5mm, 0mm, +3.5mm); 32mm (-4mm, 0mm, +4mm)

LH232	Toe Joint	Metallic Hemiarthroplasty resurfacing prosthesis for the 	8mm - 23 mm

Metatarsophalangeal Joint

LH248	SCS Distal Radius Plate System	Left and Right, Tined	Small, Large

New Products for Prostheses List Report	Page 23 of 39

Billing 	Product 	Further Description	Size

LH250	Diamond Plate/Carpal Button	Carpal Fusion Plate	Large, Small

LH253	Total Wrist Implant System	Left and Right Radial Components	Small, Medium, Large

LH254	 Total Wrist Implant System	Carpal Screws	15, 18, 22, 26, 30mm

LH255	Total Wrist Implant System	Carpal Ball	Small, Medium, Large

LH256	Total Wrist Implant System	Carpal Component	Small, Medium, Large

LH257	Preflex	MCP Finger Joint Implant	00/10/20/30/40/50/60mm

LH304	HemiCAP Contoured Articular Knee System Resurfacing Component	Articular resurfacing component - CoCr with titanium plasma spray 	Articular Component 15mm - 0.5mm x 0.5mm to 2.0mm x 2.0mm

offset;  Articular Component 20mm - 1.0mm x 1.0mm to 4.0mm x

4.0mm offset

LH305	HemiCAP Contoured Articular Knee System Fixation component 	Proximal Morse taper, fully cannulated, tapered, threaded fixation 	Component for 15mm & 20mm Articular Components Screw 9.5mm

component - Titanium with titanium plasma spray	Dia x 20mm

LH306	HemiCAP Contoured Articular Resurfacing Shoulder System	Articular Component  - Chrome Cobalt	Articular Component 25mm - 2.5mm x 2.5mm to 5.0mm x 5.0mm

offset;  Articular Component 30mm - 4.5mm x 4.5mm to 7.0mm x

7.0mm offset; Articular Component 35mm - 6.0mm x 6.0mm to

9.5mm x 9.5mm; Articular Component 40mm - 8.0mm x 8.0mm to

12.0mm x 12.0mm

LH307	HemiCAP Contoured Articular Resurfacing Shoulder System	Fixation Screw - Titanium	Fixation component for 25mm, 30mm, 35mm, 40mm Artuclar

Components Screw 10.5mm Dia & 12.5mm Dia & 13.7mm Dia

LH308	HemiCAP Contoured Articular Resurfacing Hip System	Articular Component  - Chrome Cobalt	Articular Component 25mm - 2.5mm x 2.5mm to 5.0mm x 5.0mm

offset;  Articular Component 30mm - 4.5mm x 4.5mm to 7.0mm x

7.0mm offset; Articular Component 35mm - 6.0mm x 6.0mm to

9.5mm x 9.5mm

LH309	HemiCAP Contoured Articular Resurfacing Hip System	Fixation Component - Titanium	Fixation component for 25mm,30mm, 35mm Artuclar Components

LH315	Delivery Track	Composition: Peek	8 x 20/25/30mm

LH322	I.T.S. Volar Angle Locking Plate (VAL)	Locking Plate - titanium	Left, Right, 25mm, 32mm, 4,6,8,10 and 12 hole

LH323	I.T.S. Volar Angle Locking Plate (VAL)	Cancellous Stabilization Screw	D=3.5mm, Length = 14mm-30mm (with incremental of 2)

LH324	I.T.S. Volar Angle Locking Plate (VAL)	Cortical Screw	D=3.5mm, Length=14mm-24mm (with incremental of 2)

LH326	Metaflex	low compression screw	Diameter: 1.2, 1.4, 1.6, 2.0 - 2.5mm, Length: 10mm - 30mm

LH327	MiniFix	Finger Mini Fixator System	One size

LH328	MCP Finger Prosthesis "Ariadna"	Distal part, Stainless Steel	1,2 or3

LH329	PIP Finger Prosthesis 'DGT"	Proximal part Stainless Steel textured in Cobalt Chrome	1,2 or3

LH330	MCP Finger Prosthesis "Ariadna"	Proximal part, Stainless Steel	1,2,or 3

LH331	RadioFix	Radio Fixator System	One size

LH333	Trapezio Metacarpal Prosthesis DLC	Stem - Cobalt Chrome	1 or 2

LH334	Carpal Screw	Titanium	2.5mm diameter in sizes 12mm - 20mm length

LH335	Elektra Stem	Cobalt Chromium/Hydroxyapatite coated	6-8mm

LH336	Elektra Neck	Cobalt Chromium	Extra Short, Short, Medium, Long

LH337	Memofix Staples	Nitinol	10-17mm x 12-20mm Length

LH338	Trapezio Metacarpal Prosthesis DLC	Cup, Polyethylene	One size only

New Products for Prostheses List Report	Page 24 of 39

Billing 	Product 	Further Description	Size

LH339	Trapezio Metacarpal Prosthesis DLC	Neck Cobalt Chrome	Short, Medium or long

LH340	Poing Fix	Wrist Fixator System	One size

LH341	Wrist Fixator PFII	Wrist Fixator System	One size

LH342	MicroFix	Finger Mini Fixator System	one size

LH343	Percufix	Titanium	Diameter: 2-2.5mm, Length 22-40mm

LH344	PIP Finger Prosthesis "DGT"	Distal part, Stainless Steel texture with Cobalt Chrome	1,2 or3

LH346	Elektra Cup	Cobalt Chromium and Hydroxyapatite coating	One size only

LH347	Hemi CAP Articular Resurfacing Great Toe System	Articular Component	12mm (1-2mm x 1.5-3mm offset), 15mm (1.5-2.5mm x 2.5-4.5mm

offset)

LH348	Hemi CAP Articular Resurfacing Great Toe System	Fixation Component	8mm x 16mm, 9.5mm x 18mm

LH349	Kainos	Granules	1 x 2cm3

LH350	Kainos	Granules	1 x 3cm3

LH351	Kainos	Granules	1x5cm3

LH352	Kainos	Granules	1x6cm3

LH353	Kainos	Granules	1x10cm3

LH354	Kainos	Granules	1x16cm3

LH355	Kainos	Granules	1x20cm3

LH356	Kainos	Granules	1x30cm3

LH357	Kainos	Blocks	4-8x13x14

LH358	Screws	Diamond Carpal Screws	12, 14, 16mm

LH366	Pavi / Targos Femoral Stem	Titanium, grit blast with HA	One piece varus neck in sizes 10-16 in lengths 140 - 170mm.  One

piece standard neck in sizes 9 -16 , lengths 140 - 170mm.

LH367	Fassier-Duval Telescopic IM System Component: Male	The Fassier-Dual Telescopic IM System is an endomedular nail 	The syste is composed fo a total of 108 rods in 9 different diameters

designed for patients suffering from Osteogenesis Impecfecta (OI), 	per type.  The nail is manufactured in both Ti alloy (Ti6A14V

Skeletal Displasia, Congenital Tibial Pseudoarthosis, Limb 	ASTM-136) and medical grade Stainless Steel (315L, ASTM 138).  It

lengthening over nail, Segmental Tumor removal and other bone deform	 is available in five diameters: 3.2, 4,4.8,5.6 and 6.4 mm

LH368	Fassier-Duval Telescopic IM System Component: Female	The Fassier-Duval Telescopic IM System is an endomedular nail 	The system is composed of a total of 108 rods in 9 different

designed for patients suffering from Osteogenesis Imperfecta (OI), 	diameters per type.  The nail is manufactured in both Ti alloy

Skeletal Displasia, Congenital Tibial Pseudoarthrosis, Limb 	(Ti6A14V ASTM-136) and medical grade stainless steel (316L,

lengthening over nail, Segmental Tumor removal and other bone defo	ASTM 138).  It is available in five diameters: 3.2,4.4,8,5.6 and

LH371	Stability Sigmoid Notch Total DRUJ system / Stability Sigmoid 	The Stability Sigmoid Notch Radial Stem is made from implantable 	Small & Large

Notch Radial Stem	Cobalt chromium (ASTM 1537-94) with a CPTi plasma spray on

the back for bone ongrowth.  It has a fixation post about 18mm  in

length and has a single hole in its base to accept a single cancellous

bone screw.  The front of the stem is highly polished and has raised

edges to accept a UHMPE radial insert.

LH372	Stability Sigmoid Notch Total DRUJ System / Stability Sigmoid 	The Stability Sigmoid Notch Radial Insert is made of UHMW 	The Stability Sigmoid Notch radial Insert has two sizes, small and

Notch Radial Insert	Polyethylene.  It is formed to fit onto the Stability Sigmoid Notch 	large and each size has just one thickness

Radial Plate and slides onto the plate and secures firmly via a

peripheral lock and a ramp lock snap fit.  It has a concave surface and

New Products for Prostheses List Report	Page 25 of 39

Billing 	Product 	Further Description	Size

LH373	Stability Sigmoid Notch Total DRUJ System / Sigmoid Notch Screw	The Sigmoid Notch Radial Screw is a low profile self tapping cortical 	The Sigmoid Notch screw is available in 22m increments from 18mm

screw made of implantable CoCr.  It is designed to be placed bi 	- 32mm and has a diameter of approx 4mm.

cortical in the radius and is introduced into the Radial stem thru a

hole.  It is placed into the stem and tightened down

LH374	AutoFIX	The Sbi AutoFIX Twin Pitch Cannulated Compression Screw 	2.0mm and 2.5mm Cannulated Compression Screw

System implants are indicated in the treatment of fractures,

nonunions, pseudarthrosis and degenerative changes, as well as

corrective osteotomies geared towards a functionally stable

LH375	StaFIX	The StaFIX Staples are retained implants and removable used 	6x6, 6x12,8x8, 8x16, 10x10, 10x20, 12x24

primarily for the following applications: Synthesis of fractures;

Synthesis of osteotomies; Arthrodesis; Reattachment of ligaments ot

tendons.  The aim of the StaFIX staple is to provide a effective

fixation of the bone fragments during healing.

LH390	Artelon	Co-polymer biomaterial built on well known chemical components 	Standard & Large

(PUUR) - Polycaprolactone & Urethrane Urea

LH399	Delta Modular head	Biolox Delta ceramic femoral ball head	>36mm

LH400	Ulnar Head Implants	UlnarHead CoCr	1,2,3,4

LH401	Ulnar Head Implants	Ulnar Stem CoCr	1,2,3,4

LH402	Radial Head Implants	Radial Head	2,3,4,4N

LH403	Radial Head Implants	Radial Stem	2,3,4,4N

LH406	HemiCAP Patello-Femoral Resurfacing System - Fixation Stud	A titanium-alloy fixation stud	8.5mm x 17.0mm

LH407	HemiCAP Patello-Femoral Resurfacing System - Patella Component	An all-polyethylene patella resurfacing device used alone or in 	Anatomic Components:  20mm: 1.0mm x 2.5mm, increasing in

conjunction with a femoral trochlear component  Available in  2 	0.5mm increments to 1.0mm x 4.5mm; Button Components:  20mm:

configurations Button and Anatomic	2.5mm x 2.5mm, increasing in 0.5mm increments to 4.5mm x 4.5mm

LH409	HemiCAP Patello-Femoral Resurfacing System - Femoral Trochlear 	A distal femoral trochlear surface articular component comprised of 	20mm: 2.0mm x 2.0mm, increasing in 0.5mm increments to 3.5mm x

Component Articular	cobalt-chromium alloy which mates to a fixation stud	3.0mm

Urogenital

LH376	Durasphere SUI	Injectable Bulking agent for Stress Urinary Incontinence	1ml

LH379	Durasphere SUI	Injectable Bulking agent for Stress Urinary Incontinence	3ml

LMT Surgical Pty Ltd

Orthopaedic

LM088	NewClip Variable Angle Periarticular Fixation Plates	Stainless steel and titanium plates	size 1 to 8

LM089	BioComposites Little Grafter	An absorbable cannulated compression screw providing fixation for 	4mm diameter varying lengths 13mm to 27mm

small bone fractures

LM090	Memometal Arim	Anchorage support for stabilisation for tendon, capsular or 	1.0mm 2.0mm 3.6mm

ligamentary defects

LM091	FixEx Bone Cement	Calcium Phosphate Bone Cement	5cc

LM092	FixEx Bone Cement	Calcium Phosphate Bone Cement	20cc

LM093	New Clip Titanium Bone Screws	Titanium Screws for fixation of plates to bone	4 mm diam x10mm length to 4mm 32mm and 4.5mm 10mm to 35mm

New Products for Prostheses List Report	Page 26 of 39

Billing 	Product 	Further Description	Size

LSS Surgical Pty Limited

Neurosurgical

LS024	Solas Spinal System	Hooks open, Pedicle and Lamina	4mm -11mm

LS025	Solas Spinal System	Hooks closed, Pedicle and Lamina	4mm - 11mm

Mathys Orthopaedics Pty Ltd

Orthopaedic

MA490	Balansys Knee System / Femoral Component, CR, cemented, TiNbN 	Balansys Femoral Component/ CR cemented, TiNbN coated	60 - 76, left and right

coated

MA491	Balansys Tibia Baseplate / Tibial Baseplate for CR fixed bearing insert	Balansys Tibial Baseplate/ Tibial Baseplate for CR fixed bearing 	64-85

only, cemented, Co,Cr, TiNbN coated	insert only, cemented, CoCrMo, TiNbN coated

MA492	Balansys Tibial Baseplate? Tibial Baseplate for posterior stabilised 	Balansys Tibial Baseplate? Tibial Baseplate for posterior stabilised 	64 - 85

fixed insert only, cemented, CoCr, TiNbN coated	fixed insert only, cemented, CoCrMo, TiNbN coated

MA493	Balansys Knee System / Femoral Component, PS, cemented, TiNbN 	Balansys Femoral Component/PS cemented, TiNbN coated, 	60-76, left and right

coated	CoCrMo, TiNbN

MA494	SeleXys Acetabular metal (metamys) inlays	metal on metal acetabular liner with UHWPE- metal sandwich for 	42mm - 72mm in 2mm increments

larger sizes

MA495	SeleXys Acetabular metal (metamys) inlays	metal on metal acetabular liner	42mm, 44mm, 50mm, 54mm and 56mm

MA496	SeleXys Acetabular PC Shell	Uncemented Ti acetabular shell, beaded, non HA	42mm - 72mm in 2mm increments

MA497	SeleXys Acetabular TPS Shell	Uncemented Ti acetabular shell, Ti plasma spray, non HA	42mm - 72mm in 2mm increments

MA498	SeleXys Acetabular TH+ Shell	Uncemented Ti acetabular shell, grit blast, non HA	42mm - 72mm in 2mm increments

MA499	Modular Revision Stem System	Femoral body, Titanium, non HA	50 - 110mm

MA500	Modular Revision Stem System	Titanium, grit blast, non HA	14, 16, 18

MA501	Modular Revision Stem System	Titanium, grit blast, non HA	20, 22, 24

MD Solutions Pty Ltd

General/Miscellaneous

MB001	Vari-Strand	Vari-Strand consists of variable stranded seed configurations in pre-	Variable (individually prescribed) stranded seed configurations in pre-

loaded needles for the purpose of delivering radioactive seeds for the 	loaded needles delivered in a sterilized tray.

treatment of prostate cancer. Varistrand Multiple is delivered in a

sterilized tray and opened in the operating theatre for immediate use

by the urologist and radiation oncologist.

MB002	Vari-Strand	Vari-Strand consists of a single stranded seed in a pre-loaded needle 	Single (individually prescribed) seed in a pre-loaded needle delivered

for the purpose of delivering a radioactive seed for the treatment of 	in a sterilized tray.

prostate cancer.                                                              Varistrand

Single is delivered in a sterilized tray and opened in the operating

theatre for immediate use by the urologist and radiation oncologist.

Medacta Australia Pty Ltd

Orthopaedic

MU079	BIOLOX OPTION	Ceramic Biolox Delta with Titanium sleeve	Diameter 28 S.M.L.XL, diameter 32 S,M,L,XL

New Products for Prostheses List Report	Page 27 of 39

Billing 	Product 	Further Description	Size

MU080	BIOLOX OPTION	Ceramic Biolox Delta with Titanium Sleeve	Diameter 36 S.M.L.XL

Medical & Optical Instruments Australia Pty Ltd

Orthopaedic

MO278	Acumed Locking Calcaneal Plates	Locking Plate, Calcaneal, Titanium	Small, Medium & Large, Left & Right

Medical Device Alliance Pty Ltd

Plastic and Reconstructive

MP056	Silimed Anatomical Textured Mammary Implant	Anatomical shape, textured surface, silicone gel filled mammary 	115cc to 600cc

MP057	Silimed Textured Mammary Implant	Textured surface silicone gel mammary implant	40cc to 695cc

MP058	Silimed Smooth Mammary Implant	Smooth surface silicone gel mammary implant	80cc to 1000cc

MP059	Silimed Polyurethane Breast Implant	Polyurethane coated silicone gel breast implant	40cc to 695cc

MP060	Silimed Anatomical Polyurethane Breast Implant	Polyurethane coated silicone gel breast implant	115cc to 640cc

Medtronic Australasia Pty Ltd

Cardio-thoracic

MC811	Attain Ability 4196 LV Lead	Over the wire dual electrode left ventricular lead	78, 88, and 103 cm

MC812	Consulta CRT-D	Fully Automatic, Wireless Implantable cardioverter defibrillator with 	38cc

cardiac resynchronization therapy (CRT), and therapies for

ventricular and atrial tachyarrhythmia

MC813	Secura VR	Fully Automatic, Wireless Implantable cardioverter defibrillator with 	37cc

high energy capability and therapies for ventricular tachyarrhythmia

MC814	Secura DR	Fully Automatic, Wireless Implantable cardioverter defibrillator with 	37cc

high energy capability and therapies for ventricular and atrial

tachyarrhythmia

MC816	Endeavor Resolute Drug Eluting Coronary Stent System	Cobalt Alloy, ABT - 578, BioLinx Polymer	Diameter:2.25mm-4.0mm; Length: 8.00mm-30.0mm

MC831	Medtronic Lead Extender Kit Model: 6984M, 6981M, 6985M,6986m	Silicone	37 - 50cm

MC832	Adaptor Kit Model 5866-24M, 5866-40M, 5866-37M, Bipolar Lead 	Silicone	14cm

Adaptor Kit Model 2872

Neurosurgical

MC817	Medtronic Intrathecal Catheter Revision Kit (Proximal)	Revision kit to repair proximal end of intrathecal catheter (8596SC)	66cm

MC818	Medtronic Intrathecal Catheter Revision Kit (Distal)	Revision kit to repair distal end of intrathecal catheter (8598A)	38.1cm

MC819	Pyramid +4	Anterior Plate	Height: 33mm - 45mm

MC820	T2 XVBR	T2 XVBR is an expandable vertebral body replacement cage	Diameters: 13 - 31mm

MC821	T2	End Cap	19-31 mm, 0, 4, 8, 15 degree lordosis

MC822	CD Horizon	Legacy Multiaxial Iliac Screw	6.5mm to 8.5mm Diameter

MC823	CD Horizon	Legacy Fixed Iliac Screw	6.5mm to 8.5mm Diameter

New Products for Prostheses List Report	Page 28 of 39

Billing 	Product 	Further Description	Size

MC824	Medtronic Neurostimulation Accessory Kits	Screening Cable (3550-03), Synergy IPG Connector Plug (3550-09), 	N/A

Tunnelling Tools (3555, 3550-06), EZ  Anchor (3550-16), Boot and

Anchor Kit (3550-24)

MC825	Medtronic Percutaneous Quad extension	Percutaneous extension (in line connector for quadripolar leads only)	One size only

MC826	Medtronic Accessory Kit for Deep Brain Stimulation	Boots accessory kit for DBS (3550-25)	N/A

MC827	Medtronic Pisces Quad Leads	Pisces Quad Lead (3487A), Pisces Quad Compact Lead (3887), 	Various

Pisces Quad Plus Lead (3888)

MC828	Medtronic Resume Surgical Leads	Surgical Leads - Resume II (3587A), Resume TL (3986A)	25cm

MC829	Medtronic On Point Lead	On point peripheral nerve lead kit (3987A)	25cm

Mentor Medical Systems

Plastic and Reconstructive

MN028	Spectra Adjustable Gel Breast Implant (Smooth)	Adjustable Gel Breast Implant (Smooth)	190cc-760cc

MN029	Spectra Adjustable Gel Breast Implant	Adjustable Breats Implant	190cc to 760cc

Morton Surgical Pty Ltd t/a Matrix Surgical Company

Vascular

MG030	Haemostatic Ligating Clips	Titanium Ligating Clips	small - large

MG031	Haemostatic Ligating Clips	Titanium Ligating Clips	small, medium (24 clips per pouch)

N Stenning  & Co Pty  Ltd

Neurosurgical

NG051	MicroPLex Coil System, Compass Complex Coil	The compass (MicroPlex Coil System) is a 3 dimensional platinum 	Compass 18 Complex - D 4 (mm) L 9 (cm) - D 20 (mm) L 60 (cm).

NG052	MicroPlex Coil System, Hydrosoft	HydroSoft is a hydrogel-based platimum coil with an inner hydrogel 	Loop D. 2(mm) & L 1(cm) - D 6 (mm) & L 8 (cm)

core.

NG053	Leo Plus Self-Expanding Intracranial Stent	The Leo Plus is a Self-Expanding Intracranial Stent constructed from 	D 2.5 L 12 mm, 18 mm, 25 mm. D 3.5 L 12 mm, 18 mm, 25 mm, 35

braided Nitinol wire. The Leo Plus is pre loaded onto its on 	mm, D 4.5 L 15 mm, 20 mm, 25 mm, 30 mm, 40 mm, 50 mm. D 5.5

quidewire an introducer.	L 25 mm, 30 mm, 35 mm, 50 mm, 75 mm.

Nobel Biocare

Plastic and Reconstructive

NR012	Groovy Implants (NobelReplace Straight Groovy, NobelReplace 	Dental Implants, endosseous	Diameter 3.5 - 6.0mm; Length 8.0 - 18.0mm

Tapered Groovy, NobelSpeedy Replace, Branemark System Mk III

Groovy, NobelSpeedy Groovy)

NR013	NobelActive implants	Dental implants, endosseous	Diameter 3.5 - 5.0mm; Length 10.0 - 15.0mm

Orthopaedic Solutions Pty Ltd

Orthopaedic

OE013	CoverLoc Screws	CoverLoc Screws, stainless steel, (lag & cortical) & Pegs (threaded & 	2.0mm, 2.7mm & 3.3mm x 10mm-26mm in 2mm increments

unthreaded)

New Products for Prostheses List Report	Page 29 of 39

Billing 	Product 	Further Description	Size

OE014	CoverLoc Volar Plate	A stainless steel volar plate system intended for fixation of fractures 	'22mm x 3, 4 & 8 hole left & right 25mm x 3 & 4 hole left & right

and osteotomies involving the distal radius. The CoverLoc feature is

unique and allows both compression and lagging with fixed angle

Orthotech Pty Ltd

Neurosurgical

OH338	Universal Clamp	Universal Clamp	5.5mm

OH347	Ibex Interbody Cage	Lumbar Cage	7-17mm

OH350	Novel cross link	Cross Link	16-56mm

OH351	Novel set screw	Set screw	4-10mm

OH352	Novel Rods	Rod	5.5, 6.0, 6.5

OH353	Novel Reduction Poly Screw	Poly axial REDUCTION pedicle screw	5.5-8.5

OH354	Novel Reduction Mono screw	Mono axial REDUCTION pedicle screw	5.5-8.5

OH355	Novel Cannulated Mono screw	Mono axial cannulated pedicle screw	5.5-8.5

OH356	Novel Cannulated poly screw	Poly axial cannulated pedicle screw	5.5-8.0

OH357	Novel Mono screw	Mono axial pedicle screw	4.0-8.5

OH358	Novel Mono screw	Poly axial pedicle screw	4.0-8.5

Orthopaedic

OH334	EOS Footset - Varisation staple	Foot staple	8-10mm

OH335	EOS Footset - Entos	Footscrew	11-14mm

OH336	EOS Footset-Pyxis	Footscrew	11-28mm

OH337	EOS Footset-Antares	Footscrew	12-34mm

OH339	Fyxis plate	Foot plate	40-55mm

OH340	Fyxis plate screw	Foot plate screw	9-55mm

OH341	Sam-Fit modular neck	Modular neck	S1-S6, L1-L6

OH342	Sam-Fit modular stem	Modular stem	1 - 7

OH343	Unima Screw	Foot screw 7.2	7.2 x 50-120mm

OH344	Unima Screw	Foot screw 4.5	4.5 x 30-50mm

OH345	Pareous staple	Foot staple	1.5mm 6-14 and 2.5mm 14-30

OH346	Eleos staple	Foot staple	4-34/38mm

OH348	H-Max Femoral stem	Modular stem	9-18

OH349	H-Max Femoral neck	Modular neck	1-6

OH359	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18

OH360	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24

OH361	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL, XXL

OH362	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL

New Products for Prostheses List Report	Page 30 of 39

Billing 	Product 	Further Description	Size

OH363	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL

OH364	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL

Portland Orthopaedics (Aust) Pty Ltd

Orthopaedic

PD037	EQ+ Acetabular Shell HA	Titanium, 3-hole, plasma sprayed, HA coated shell for ceramic & 	44-76mm

UHMWPE inserts

PD038	M-COR Femoral Stem HA	Titanium, plasma sprayed, HA coated, standard & short length distal	29x9 to 41x17, 9mm to 17mm diameter, 140mm to 165mm length

flutes

PD039	M-COR-TL Femoral Stem HA	Titanium, plasma sprayed, HA coated, standard & short length taper 	1-9

lock stem

PD040	M-COR-TL Femoral Stem	Titanium, plasma sprayed, non HA, standard & short length taper 	1-9

lock stem

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SM146	Bioraptor 2.3 PK	PEEK optima suture anchor	2.3mm

SM147	TWINFIX FT PK	PEEK optima fully threaded suture anchor	5.5mm and 6.5mm

SM148	FOOTPRINT	Non-knot tying PEEK suture anchor	5.5mm and 6.5mm

SM149	Peri-Loc PFP	Proximal Femur Locking Plate - 360L stainless steel	2H R & L 104MM, 4H R & L 144MM, 6H R & L 180MM, 9H R

& L 234MM

SM150	Peri-Loc PFP	Proximal Femur Locking Screw - 360L stainless steel	60MM X 22MM THRD - 130mm X 22MM THRD          60mm X

Full Thread - 130mm Full Thread

SM151	Revision Delta Ceramic Femoral Head	Delta ceramic wider taper, with sleeve included (PL118)	≤32mm

SM152	Revision Delta Ceramic Femoral Head	Delta ceramic ider taper, with sleeve included (PL118)	>32mm

SN888	PROMOS Reverse Modular Shoulder System	PE Insert - UHMWPE	36/6mm 36/9mm, 36/12mm, 42/6mm, 42/12mm

SN889	Promos Modular Shoulder system	Glenoid Base Plate with Ti/HA-Ti 6A i4V	5-20mm, 1-5, Small, Medium, Large

SN890	PROMOS Reverse Modular Shoulder System	Glenoid Bone Screw	6/20mm 6/25mm, 6/30mm,  6/35mm,  6/40mm

SN891	Promos Reverse Modular Shoulder System	Glenosphere	centric 36mm, centric 42mm, eccentric 36/+5mm, eccentric 42/+5mm

SN892	Promos Reverse Modular Shoulder System	Glenoid Base Plate	5-20mm  1-5  Small Medium Large

SN893	Promos Reverse Modular Shoulder System	Body	36/mm Small, 36/10mm Small, 36/15mm Small, 36/5mm Medium,

36/10mm Medium, 36/15mm Medium, 36/5 Large, 36/10mm Large,

36/15mm Large

SN894	Anthology C	Femoral Stem - Titanium grit blasted HA coated	01-18 90mm-122mm

SN895	MDF Revision System	Modular sleeve with Stiktite titanium porous coating	Small, Medium, Large and X-Large - sizes 10-25

SN896	MDF Revision System	Modular Sleeve with Stiktite titanium porous coating and HA coating	Small, Medium, Large, and X-Large - sizes 10-25

SN897	MDF Revision System	Femoral stem - Titanium grit blasted for use with modular femoral 	10-25 - 200mm - 360mm

neck - choices anteverted, retroverted, standard & multiple height.

Allows fixation of proximal sleeve in various shapes (suffix-N,SV &

MOD3)

New Products for Prostheses List Report	Page 31 of 39

Billing 	Product 	Further Description	Size

SN898	MDF Revision System	Modular Neck - CoCr highly polished trapezoidal for MDF 	24mm - 36.5mm

stem/MIS stem multiple options of version height and neck length

SN899	MDF Revision System	Femoral Stem - Titanium grit blasted for use with moduylar femoral 	10-25 - 150mm - 190 mm

neck choices anteverted, retroverted, standard and multiple height.

Allows fixation of proximal sleeve in various shapes (suffix - N, SV

& MOD3)

Sorin Group

Cardio-thoracic

SA141	REPLY TM DR	Dual Chamber permanent Pacemaker with Rate Response 	8cc, Weight: 20grams, Dimensions:41.2 x 41.5 x 6.1mm

St. Jude Medical Australia Pty Ltd

Cardio-thoracic

SJ136	SJM Biocor Heart Valve	Stented Porcine tissue valve	Aortic Valves - Tissue Annulus Diameter - 21 - 29mm

Mitral Valves - Tissue Annulus

Diameter - 25-35mm

SJ139	Quickflex 1156T and XL 1158T	Bipolar, Steroid-Eluting, Titanium Nitride Coated Elextrodes, 	Length 75 and 86cm

Guidewire/Stylet-Placed Left Heart Lead with Fast-PassTM Coating

SJ140	Myodex 1084T and FasTac Flex Lead Implant Tool	Steroid -Eluting Bipolar Sutureless Myocardial Pacing Lead with 	35cm and 54cm, Lead implant tool - 44cm

Titanium Nitride Electrodes and Lead implant tool with articulating

distal end.

Neurosurgical

SJ133	Eon Mini Neurostimulation System - Implantable Pulse Generator 	Eon Mini Neurostimulation System - Implantable Pulse Generator 	18cc, 29g

SJ137	Lamitrode Leads - Tripole 8, Tripole 8C and Exclaim	Tripole 8 (3208), Tripole 8C (3210) and Exclaim (3224)	Length - 60cm

SJ138	Lamitrode Lead - Tripole 16C	Tripole 16C (3214)	Length 60cm

Vascular

SJ134	Interflow Ultrathin	ePTFE vascular graft with radial support	6-8mm x 40-80cm

SJ135	Interflow Ultrathin	ePTFE vascular gift	6-8mm x 40-80 cm

Stryker Australia Pty Ltd

Neurosurgical

SK488	THOR Anterior Lumbar Plate	Anterior Lumbar Plate, one level, compression, non compression	22mm to 40mm

SK489	THOR Anterior Lumbar Screw	Anterior Lumbar Plate Screw: Standard and Compression	Dia 6mm  Length 22mm to 37mm

SK492	DuraMatrix	Collagen Dura Substitute Membrane	1" x 1" (2.5cm x 2.5cm)

SK493	DuraMatrix	Collagen Dura Substitute Membrane	1" x 3" (2.5cm x 7.5cm)

SK494	DuraMatrix	Collagen Dura Substitute Membrane	4" x 5" (10cm x 12.5cm)

SK495	Dura Matrix	Collagen Dura Substitute Membrane	3" x 3" (7.5cm x 7.5cm)

SK496	DuraMatrix	Collagen Dura Substitute Membrane	2" x 2" (5cm x 5cm)

SR082	UniLIF	PEEK Unilateral Lumbar Interbody Fusion Cage	Width 11mm, Height 6mm to 13mm, Length 30mm - 33mm

New Products for Prostheses List Report	Page 32 of 39

Billing 	Product 	Further Description	Size

Orthopaedic

HW404	First Step High Tibial Osteotomy System	Proximal Component	5mm, 10mm and 15mm steps, 60-90mm in 5mm increments

SK490	U-Blade	U-Blade Lag Screw Set	All Gamma 3 U-Blade's are 10.5mm in diameter, ranging from 70-

130mm in 5mm increments

SK491	U-Blade End Cap	U-Blade Lag Screw End Cap	One size 9mm x 10.5mm (diameter)

SK497	Triathlon PKR - Cemented Tibial component	Uni tibial baseplate, cemented, CoCR	Size 1 to 6

SK498	Triathlon PKR - X3 Polyethylene Tibial insert	Uni tibial insert, X3 polyethylene, fixed	Size 1 to 6, thicknesses from 8mm to 12mm

Surgical House

Neurosurgical

SU228	Olerud Cervical System, Rods	Titanium alloy, Curved and Straigth	40mm - 120mm

Orthopaedic

SU223	Spacevision PLIF Cage	PEEK Optima o to 8 degrees lordosis	Height 7-14mm, Length 21-25mm

SU224	Spacevision TLIF Cage	PEEK Optima	7mm-16mm

SU225	Uni-Thread Screw	Titanium pedicle screw.  Fully or partially threaded.	Diameter 5.5mm-8.5mm, Length 28mm-58mm

SU226	Uni-Thread Connector	Titanium pedicle screw/rod connector.  Standard, offset or reduction	6.5mm-7.5mm

SU227	Olerud Cervical System, U - Rods	Titanium alloy, Preformed	40mm - 120mm

Surgical Specialties

General/Miscellaneous

SQ030	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter, bolus	270ml volume x 2 lines x 2 ml per hour; 270ml x 2ml, 5ml bolus;

270ml x 1-7ml/hr

SQ031	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter	100ml volume x 2 ml per hour

SQ032	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter	270ml volume x 2 ml per hour

SQ033	PainBuster	Kit includes catheter, introducer needle, flow restrictor, filter	270ml volume x 5 ml per hour

SQ034	Painbuster	Kit includes catheter, introducer needle, flow restrictor, filter	270ml x 4ml/hr, dual; 400ml x 4ml per hour, dual

SQ035	Painbuster	Kit includes catheter, introducer needle, flow restrictor, filter, 2 - 	400ml

14ml/hour

SQ036	Painbuster C bloc	Continuous Nerve Block kit -provides continual flow of local 	400ml

anaesthetic near a nerve

SQ037	Painbuster C Bloc	Continuous Nerve Block Kit -provides continual flow of local 	400-600ml

anaesthetic near a nerve, with options of variable flow rate, bolus or

dual flow.

Orthopaedic

SQ038	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	2.5ml

SQ039	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	5ml

SQ040	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	10ml

SQ041	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	2.5-3ml

New Products for Prostheses List Report	Page 33 of 39

Billing 	Product 	Further Description	Size

SQ042	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	5ml

SQ043	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	10ml

Surgiplas Medical

Orthopaedic

SP055	Hemi-Great Toe Implant	Great Toe implant, Cobalt Chromium	XS, S, M, L

SP056	Bio-Action Great Toe Implant	Bio-Action Phalangeal Implant, Titanium Alloy and UHMWPE.	Small neutral/ small modified/ large modified.

SP057	Bio-Action Great Toe System	Bio-Action Metatarsal Implant Cobalt Chrome	Small neutral / small left/ small right/ large neutral

SP061	Reflexion 1st MPJ Implant System	Reflexion metatarsal stems, 3 part 1st MPJ reconstruction system, 2 	Small, medium, large

part composition - titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SP062	Reflexion 1st MPJ Implant System	Reflexion metatarsal heads, 3 part 1st MPJ reconstruction system, 2 	Standard, long, extra-long

part composition - titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SP063	Reflexion 1st MPJ Implant System	ReflexionPhalangeal Bases, 3 part 1st MPJ reconstruction system, 2 	Small, medium, large

part composition - titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

Synthes Australia Pty Ltd

Neurosurgical

SY439	OPAL	Cage Spacer	7-177mm, 10 x 28-32mm

SY440	Synapse	Locking Screw	One size

SY441	Synapse	Posterior Cervical Polyaxial Screw System	3.5mm-4.5mm Diameter; 8mm-50mm Length

SY442	Synapse	Parallel Connector	3.5/3.5-6.0mm

SY443	Synapse	Lamina Hook, Top Loading	right, left, straight, short, long

SY444	CerviFix Posterior Cervical System	Rod: Straight or pre bent	3.5mm diameter, 120-250mm length

SY445	CerviFix Posterior Cervical System	Occipital Plate Rod	one size

SY446	CerviFix Posterior Cervical System	Rod: Tapered	3.5/5.0 - 3.5/6.0 dual diameter, 300 -500mm

Tornier Pty Ltd

Orthopaedic

TO037	Aequalis Reversed Shoulder - Revision Base Plate (Metaglene)	Long pegged base plate/ metaglene for revision reversed shoulder.	One Size: Long Peg

TO038	Aequalis Reversed Shoulder Eccentric Glenosphere	Eccentric Glenoid Sphere for Aequalis Reversed Shoulder	36mm and 42mm, eccentricity +2mm, 4mm or 6mm.

TO039	Aequalis Reversed Shoulder Wear Compensation Glenosphere	Wear Compensation Glenoid Sphere for Aequalis Reversed shoulder.	36mm and 42mm, wear compensation 5 degrees or 10 degrees,

combination wear compensation 5 degrees or 10 degrees and

eccentricity +2mm, 4mm or 6mm.

TO040	Aequalis Reversed Shoulder Eccentric humeral Insert (High Mobility 	Eccentric Humeral Insert (High Mobility Cup) for Aequalis Reversed	36mm and 42mm, 2mm eccentric +6mm and +9mm, 4mm eccentric

Cup)	 Shoulder	+9mm and +12mm

TO041	Glenoid Base Plate	Ti HA Coated	One Size

TO042	Glenoid Ssphere	CoCr, Ti Alloy	D.36mm & 42mm

New Products for Prostheses List Report	Page 34 of 39

Billing 	Product 	Further Description	Size

TO043	Metaphysis (Cemented or Cementless)	Cemented: CoCr and UMWHPE, Cementless: CoCr, HA Coated and	D.36mm & 42mm

UMWHPE

TO044	Stem (Cemented or Cementless)	Cemented: CoCr Cementless: Ti, HA coated	D. 6.5, 9 , 12, 15mm L 100, 150, 180, 210mm

TO045	Lateralized Insert	UMWHPE	D. 36mm +6mm, D.36mm +9mm, D.36mm +12mm, D.42mm +6mm,

D. 42mm +9mm, D.42mm +12mm

TO046	Self Locking Screw	Titanium	D45mm, L20 to 50mm

TO047	Fixation Screw for Articular Implant	Titanium	D. 4.5mm, L 18 to 45mm

William A Cook Australia Pty Ltd

General/Miscellaneous

WC243	Surgisis Biodesign Anal Fistula Plug	Surgisis Biodesign Anal Fistula Plug is a small intestine submucosal 	0.6cm Width Tapering to 0.2cm Width x 9.5cm Length. Conical

porcine derived, rolled and shaped collagen matrix, non cross-linked,

that signals the body and provides support for native tissue

remodeling, healing and closure of anal fistulas

WC246	Evolution Oesophageal Metal Stent	Oesophogeal Self Expanding Metal Stent with controlled release 	8, 10, 12.5 and 15cm Lengths, 25mm flared ends, 20mm body

delivery system

Plastic and Reconstructive

WC242	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated layers of 	13cm x 15cm 8-Layer Perforated Tissue Graft

processed small intestine submucosal porcine derived collagen matrix,

freeze dried, corrugated and non cross-linked material, that signals

surrounding tissues to restore and remodel, while providing strength

and support to weakened areas.

WC244	Sugisis Biodesign 8-layer Tissue Graft	8 layers of processed small intestine submucosal porcine derived 	13cm x 15cm; 13cm z 22cm; 20cm x 20cm

collagen matrix, vacuum pressed and non crosslinked material that

sugnals surrounding tissues to restore and remodel while providing

extra strength and support to weakened areas.

WC247	Surgisis Biodesign 8-Layer Tissue Graft	Surgisis Biodesign 8-Layer Tissue Graft is 8 Layers  of processed 	13cm x 22cm 8 Layer Perforated Tissue Graft

small intestine submucosal porcine derived collagen matrix, vacumm

pressed and non cross - linked material, that signals surrounding

tissues to restore and remodel while providing extra strength and

support to weakened areas.

WC248	Surgisis Biodesign 8-Layer Tissue Graft	Surgisis Biodesign 8-Layer Tissue Graft is 8 Layers  of processed 	20cm x 20cm 8 Layer Perforated Tissue Graft

small intestine submucosal porcine derived collagen matrix, vacumm

pressed and non cross - linked material, that signals surrounding

tissues to restore and remodel while providing extra strength and

support to weakened areas.

WC249	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated layers of 	13cm x 22cm 8- Layer Perforated and Corrugated Tissue Graft

processed small intestine submucosal porcine derived collagen matrix,

freeze dried, corrugated and non cross-linked material, that signals

surrounding tissues to restore and remodel, while providing strength

and support to weakened areas.

WC250	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated layers of 	20cm x 20cm 8-Layer  Perforated and Corrugated Tissue Graft

processed small intestine submucosal porcine derived collagen matrix,

freeze dried, corrugated and non cross-linked material, that signals

surrounding tissues to restore and remodel, while providing strength

and support to weakened areas.

New Products for Prostheses List Report	Page 35 of 39

Billing 	Product 	Further Description	Size

WC251	Surgisis Biodesign Complex Hernia Graft	Surgisis Biodesign Complex Hernia Graft is 8 perforated layers of 	20cm x 30cm 8 Layer Perforated and Corrugated Tissue Graft

processed small intestine submucosal porcine derived collagen matrix,

freeze dried, corrugated and non cross-linked material, that signals

surrounding tissues to restore and remodel, while providing strength

and support to weakened areas.

Urogenital

WC245	Surgisis Biodesign Recto-Vaginal Fistula Plug	Small intesting submucous porcine collagen matrix, non-crosslinked, 	2mm width x 5.5cm length; 4mm wide tapering to 2mm wide x 5.5cm

supports native tissue remodelling, healing and closure of recto-	length; 7mm wide tapering to 2mm wide x 5.5 length.

vaginal fistulas. Conical shpe with attached button.

WC253	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Biodesign Posterior Pelvic Floor Graft	14cm x 16cm Site Specific Shape

WC254	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Biodesign Anterior Pelvic Floor Graft	9cm x 12cm Trapezoide Shape

WC255	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Soft Tissue Graft	Length 20cm, Width 7cm

Vascular

WC256	Zenith AAA Endovascular Graft	ZFEN - 1000 Fenestrated AAA bifurcated stent-graft, woven 	Fenestrated body 24 - 36mm diameter and 76 - 137mm long.  Distal

polyester and stainless steel	bifurcated body 24mm diameter and 76 - 121mm long.  Ipsilateral

cuff 12 - 24mm diameter.  Contralateral leg extension 8 - 24mm

diameter and 37 - 122mm long

WC257	Zenith AAA Endovascular Graft with Flexor TM	ZFEN - 1000 Fenestrated AAA bifurcated stent-graft, woven 	Fenestrated body 24 - 36mm diameter and 76 - 137mm long.  Distal

polyester and stainless steel with Flexor TM sheath	bifurcated body 24mm diameter and 76 - 121mm long.  Ipsilateral

cuff 12 - 24mm diameter.  Contralateral leg extension 8 - 24mm

diameter and 37 - 122mm long

WC258	Zenith AAA Endovascular Graft Contralateral/Ipsilateral Lliac Legs	Leg Extension	Diameters from 8 to 24mm, Lengths from 37 to 122mm

WC259	Zenith AAA Endovascular Graft Contralateral/Ipsilateral Lliac Legs	Leg extension with Captor valve	Diameters from 8 to 24mm, lengths from 37 to 122mm

WC260	Zenith Fenestrated AAA Endovascular Graft	Distal Bifurcated Body	Diameter 12 - 24mm, 1st length 28 - 62mm, 2nd length 76 - 121mm

WC261	Zenith Fenestrated AAA Endovascular Graft with Flexor	Distal Bifurcated Body with Flexor sheath	Diameter 12 - 24mm, 1st length 28 - 62mm, 2nd length 76 - 121mm

WC262	Zenith Fenestrated AAA Endovascular Graft	Proximal Fenestrated Body	1 or 2 internal stents, 24 - 36mm Diameter, 73 - 129mm Length

WC263	Zenith Fenestrated AAA Endovascular Graft with Flexor	Proximal Fenestrated body with Flexor sheath	1 or 2 internal stents, 24 - 36mm Diameter, 73 - 129mm Length

Zimmer Pty Ltd

Neurosurgical

ZI609	Optima Spinal Fixation System	Optima Spinal Fixation System - Rod Connectors	Small, Large, 2 Hole, 3 Hole, 4 Hole

ZI610	Optima Spinal Fixation System	Optima Spinal Fixation System - Rod Connectors	Various Sizes - Open & Closed

ZI636	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard

ZI637	BacFix (Thoracolumbar System)	Multi axial bone screw  - Nitinol	5 - 8mm x 30 - 60mm

ZI638	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep

ZI639	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 50 - 125mm

ZI640	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 300 - 600mm

ZI641	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth - Titanium alloy	5.5 - 6mm

ZI642	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm

ZI643	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - Titanium alloy	5 - 8mm x 30 - 60mm

New Products for Prostheses List Report	Page 36 of 39

Billing 	Product 	Further Description	Size

ZI644	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium alloy	5.5 - 6mm x 15 - 35mm

ZI645	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - Titanium alloy	5.5 - 6mm x 39.5 - 75mm

ZI646	AcuFix	Cancellous bone screw - Anterior cervical plate system - Titanium	4mm x 10 - 18mm

ZI647	AcuFix	Self tapping wide root screw - Anterior cervical plate system - 	4mm x 10 - 18mm

ZI648	AcuFix	Rescue screw - Anterior cervical plate system - Titanium	4.5mm x 10 - 18mm

ZI649	AcuFix	1 segment SlimLine plate - Anterior cervical plate system - Titanium	20 - 34mm

ZI650	AcuFix	2 segment SlimLine plate - Anterior cervical plate system - Titanium	34 - 54mm

ZI651	AcuFix	3 segment SlimLine plate - Anterior cervical plate system - Titanium	47 - 71mm

ZI652	AcuFix	4 segment SlimLine plate - Anterior cervical plate system - Titanium	68 - 92mm

ZI653	AcuFix	2 segment Corpectomy plate - Anterior cervical plate system - 	34 - 54mm

ZI654	AcuFix	3 segment Corpectomy plate - Anterior cervical plate system - 	53 - 77mm

ZI655	AcuFix	4 segment Corpectomy plate - Anterior cervical plate system - 	68 - 101mm

ZI656	AcuFix	3 segment SlimLine plate - Anterior cervical plate system - Titanium	47 - 71mm

ZI657	Traxis (non sterile)	Titanium Interbody Implant	9-13mm

ZI658	Traxis Peek-Optima (sterile)	Vue Radiolucent Implant	12mm

ZI659	Nex-Link	Spinal Fixation System, Closed Screw Set Screw	4.0mm

ZI660	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 4.00mmx22mm

ZI661	Nex-Link	Spinal Fixation System, Transverse Connectors	4.00mm Rod x 25mm - 45 length

ZI664	Incompass	Thoracolumbar Fixation System, Open Implant Closure Top	5.5mm

ZI665	Incompass	Thoracolumbar Fixation System, Closed Implant Set Screw	5.5mm

ZI666	Incompass	Thoracolumbar Fixation System, Offset Connector Open	9.5 - 30mm

ZI667	Incompass	Thoracolumbar Fixation System, Offset Connector Closed	7.5 - 30mm

ZI668	Incompass	Thoracolumbar Fixation System, Polyaxial Screw Open	5.5 - 7.5

ZI669	Incompass	Thoracolumbar Fixation System, Fixed Angle Screw Open	4.5 - 8.5mm

ZI670	Incompass	Thoracolumbar Fixation System, Fixed Angle Screw Closed	4.5 - 8.5mm

ZI671	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm

ZI672	AcuFix	1 segment ThinLine plate	20 - 36mm

ZI673	AcuFix	2 segment ThinLine plate	34 - 54mm

ZI674	AcuFix	1 segment Ant-Cer dynamic plate	24 - 32mm

ZI675	AcuFix	2 segment Ant-Cer dynamic plate	34 - 54mm

ZI676	AcuFix	3 segment Ant-Cer dynamic plate	50 - 71mm

ZI677	AcuFix	4 segment Ant-Cer dynamic plate	68 - 96mm

ZI678	InFix Interbody Fusion System	Endplate	Small - Large

ZI679	InFix Interbody Fusion System	Strut	Small - Large

ZI680	InFix Interbody Fusion System	Endcap	8-10mm

New Products for Prostheses List Report	Page 37 of 39

Billing 	Product 	Further Description	Size

ZI681	Pathfinder	Minimally invasive pedicle fixation system	Cannulated Polyaxial Screws 6.5 - 7.5mm

ZI682	Pathfinder	Minimally invasive pedicle fixation system	Open Implant Closure Top 5.5mm

ZI683	OctaFix	Occipital Cervical Plating System	Occipital Plate

ZI684	OctaFix	Occipital Cervical Plating System	Closed Screw 4mm

ZI685	OctaFix	Occipital Cervical Plating System	Screw Offset Connector

ZI686	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm

ZI687	OctaFix	Occipital Cervical Plating System	Bone Screw 3.5 - 4.0mm

ZI688	Cadence (non sterile)	Titanium Interbody Implant	9-15mm

ZI689	Cadence Peek - Optima (sterile)	Vue Radiolucent Implant	9-13mm

ZI690	Fortitude (non sterile)	Titanium Interbody Implant	12mm

ZI691	Fortitude Peek-Optima (sterile)	Vue Radiolucent Implant	12mm

ZI692	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm

ZI693	InFix Interbody Fusion System	Strut	Small - Large

ZI694	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm

ZI695	Anterior Lumbar Cage	Titanium or PEEK	Height 2 - 20mm

ZI696	Fidji Cervical Cage	12 x 15, 12 x 17, 14 x 17, 14 x 19

ZI697	Java screw system	Sacral fixation	Left and right

ZI698	Java screw system	Java Blocker	Set screw

ZI699	Universal Clamp	Locking Screw	.

ZI700	Java screw system	Precontoured rod	Rod length 30/40/50/60/70/80/90/100

ZI701	Java screw system	Secondary sacral screw	Size 6 L 35

ZI702	Java screw system	Monoaxial pedicle screw	diam 4.5 lg 35, 40, 45; diam 5 lg 35, 40,45, 50,55, 60; diam 5.5 lg 35,

40, 45, 50, 55; diam 6 lg 35, 40, 45, 50, 55, 60; diam 6.5 lg 35, 40, 45,

50, 55, 60; diam 7 lg 35, 40, 45, 50, 55, 60; diam 7.5 lg 35, 40, 55,

60; diam 8 lg 35, 40, 45, 50, 55, 60

ZI703	Java screw system	Straight rods	Rod length 30/40/50/60/70/80/90/100

ZI704	Java screw system	Transverse connector	Length 52, 62, 72, 82

ZI705	Java screw system	Poly axial screw	TL pedicle screw diam 4 lg 35; diam 5 lg 35, 40, 45, 50, 55; diam 6 lg

35, 40, 45, 50, 55; diam 7 lg 35, 40, 45, 50, 55; diam 5.5 lg 35, 40, 45,

50, 55, 60; diam 6 lg 60; diam 6.5 lg 35, 40, 45, 50, 55, 60; diam 7 lg

60; diam 7.5 lg 35, 40, 45, 50, 55, 60

ZI706	Nex-Link	Spinal Fixation System, Open Screw Closure	4.00mm

ZI707	AcuFix	2 segment SlimLine plate - Anterior cervical plate system - Titanium	34 - 54mm

Orthopaedic

ZI596	NCB System	NCB Screw Self Tapping	5.00mm x 14-85; 4.00mm x 14-48,

ZI597	NCB Plating System	NCB Spacers & Screw Caps	1, 2 and 3

ZI598	NCB System	.NCB Cancellous Screws	4.5mm x 30-65, 5.0mm x 32-90, 4.5mm x 30-65 C/FT

New Products for Prostheses List Report	Page 38 of 39

Billing 	Product 	Further Description	Size

ZI599	NCB System	NCB Cortical Screws	5.00mm x 14-85; 4.00mm x 14-90; 3.5mm x 14-75.

ZI600	NCB System	NCB Cannulated Screws	14mm to 65mm

ZI601	NCBSystem	NCB Cannulated Cancellous Screws	4.5mm x 30-90mm

ZI602	Trans Fx LITE Ankle Implant Kit	MRI Ankle Bridging Implant Kit	Large

ZI603	Trans Fx LITE - Pelvic Resuscitation Kit	MRI Pelvic Resuscitation Kit	Large

ZI604	Trans Fx LITE	MRI Knee Spanning Implant Kit	Large

ZI605	Trans Fx LITE - Wrist Kit	Wrist Spanning Frame	Small

ZI606	Trans Fx LITE	MRI Universal Clamp	One size only

ZI607	Natural Knee II Modular Cemented Tibial Baseplate Augments	Modular Cemented Tibial Augments - Medial & Lateral	Sizes 00.0, 1,2,3,4 x 4mm; 00,0,1,2,3,4 x 8mm - Medial & Lateral

ZI608	Natural Knee II Modular Cemented Tibial Baseplate	Modular Cemented Baseplate	Sizes 00, 0, 1,2,3,4, 5 - Left and Right

ZI611	Revitan Modular Straight Stem	Titanium, grit blast, non HA, cobalt chrome junction	14 x 175, 140mm; 18 x 140mm; 20, 22, 24 x 195mm

ZI612	Revitan Modular Straight Stem	Titanium, grit blast, non HA, cobalt chrome junction	14, 16, 18, 20, 22, 24, 26, 28 x 255mm; 16, 18, 20, 22, 24, 26 x 315mm

ZI613	ZMR Modular Revision Hip System - Stem	Titanium, grit blast, non HA	150 to 17mm

ZI614	ZMR Modular Revision Hip System - Stem	Titanium, grit blast, non HA	205, 220, 255, 270mm Straight & Bowed

ZI662	Nex-Link	Spinal Fixation System, Cervical Hooks	5 & 7mm

ZI663	Nex-Link	Spinal Fixation System, Spinal Rod	120 & 240mm

Grand Total:	847 Records

New Products for Prostheses List Report	Page 39 of 39