Changed Items for Prostheses List

Billing 	Product Name	Further Description	Size	Explanation of Change

Abbott Australasia Pty Ltd

Cardio-thoracic

AY012	JoStent Coronary Stent Graft	Stainless Steel/PTFE	9 - 26 mm x 2.5 - 5 mm	Detail and Benefit Amendment

AY023	Xience Everolimus Eluting Stent System	Everolimus Eluting Stent System	2.25mm to 4.0mm widths, 8mm to 28mm lengths	Benefit Amendment

AY025	Stents	ACS Multilink Coronary Stent; ACS Megalink 	1.5mm - 8.0mm	Benefit Amendment

Peripheral Stent; ACS RX Herculink Peripheral

Stent. Stainless steel

AY026	Multilink Coronary Stent System	Stainless Steel	Length 1.5mm - 8.0mm	Benefit Amendment

AY027	Multilink Coronary Stent System - Frontier	316L Stainless steel stent	Length 1.5 - 8.0mm	Detail and Benefit Amendment

AY028	Multilink Coronary Stent System - Vision	Cobalt chrome stent	2.25mm to 4.0mm widths, 8mm to 38mm lengths	Detail and Benefit Amendment

Vascular CAG

AY010	JOStent Peripheral Stent Graft	Stainless Steel/PTFE	4 - 12 mm x 12 - 58m mm	Detail and Benefit Amendment

AY015	Xact/ Xact Flex Carotid Stent	Nitinol Self-Expanding stent on rapid exchange 	Diameter 7-10mm Length 20 + 30mm Straight; 	Detail and Benefit Amendment

delivery system	Diameter 8-6, 9-7, 10-8mm Length 20 + 30mm

AY017	Starclose	6 Fr Exchange Sheath, Dilator, Guidewire, 	6 Fr	Detail and Benefit Amendment

implantable nitinol clip pre-mounted on a Clip

AY018	Emboshield	Embolic Protection Device, including delivery 	Large and small. Two wire lengths: 190cm for 	Detail and Benefit Amendment

system, device specific procedural wire, filter for 	Monorail system and 315cm for Over the wire

capturing embolic matter and retrieval system

AY021	Nitinol Self Expanding Peripheral Stent	Nitinol	Diameter 3-10mm	Detail and Benefit Amendment

AY022	Cobalt Chromium Balloon Expandable Peripheral 	Cobalt Chromium	Diameter 4-10mm, Length 12-58mm	Detail and Benefit Amendment

AY024	Omnilink Stainless Steel Balloon Deployable 	Stainless Steel Balloon Expandable Peripheral Stent 	018 & 035 system: 5-10mm diameter by 12, 16, 18, 	Detail and Benefit Amendment

Peripheral Stent	on 018/035 system	28, 38, 58mm length

AY030	Accunet	Embolic Protection Device, including delivery 	4.5 - 7.5; 190cm, 300cm length catheter	Detail and Benefit Amendment

system, device specific procedural wire, filter for

capturing embolic matter and retrieval system.

AY031	Xpert	Xpert is a laser cut nitinol self expanding stent, used 	3 - 8mm in diameter, 20 - 80mm in length	Detail and Benefit Amendment

to treat peripheral vessel disease, Xpert is a low

profile system designed for small vessels and is 4

AY032	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm length	Detail and Benefit Amendment

AY033	Proglide	Stuture Mediated Closure Device	5 - 8 French	Detail and Benefit Amendment

AY034	Prostar	Stuture Mediated Closure Device - Closure of Large 	Up to 24 French	Detail and Benefit Amendment

holes

Ackermann Australia Pty Ltd

General Miscellaneous

AK002	Stent, oesophageal, dudodenal, rectal, biliary	self expandable nitinol stent with introducer system	20,30,40,50,60,70,80,90,100,110,120mm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 1 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Specialist Orthopaedic

AK004	Kirschner Wires	Kirschner Wire	0.6mm to 3.0mm diameter / various lengths	Detail Amendment

Advanced Biomedical Pty Ltd

Cardio-thoracic

AB070	ATS 3f Aortic Bioprosthesis (EQUINE)	Model 1000 - EQUINE Pericardium Bioprostheseis 	19 - 29 mm	Detail Amendment

(non stented)

General Miscellaneous

AB003	BioGlue Surgical Adhesive - 5ml Syringe System	Model No BG3515-5-A (BioGlue Surgical Adhesive)	One size only	Detail Amendment

AB004	BioGlue Surgical Adhesive - 10ml Syringe System	Model No BG3510-5-A (BioGlue Surgical Adhesive)	One size only	Detail Amendment

AB005	Bioglue Surgical Adhesive - 5ml Solutions Cartridge 5	Model No BG 3005-5 (Bioglue Surgical Adhesive)	One size only	Detail Amendment

Per pack

AB007	Bioglue Surgical Adhesive - 10ml Solutions Cartridge 	Model No BG 3010-5 (Bioglue Surgical Adhesive)	One size only	Detail Amendment

5 per pack

AB008	BioGlue Surgical Adhesive - Syringe Standard 	Model No BGAT-SY (BioGlue Surgical Adhesive)	One size only	Detail Amendment

Applicator Tip

AB009	BioGlue Surgical Adhesive - Syringe Applicator Tip 	Model No BGAT-10-SY (BioGlue Surgical 	One size only	Detail Amendment

Extender

AB010	BioGlue Surgical Adhesive - Syringe Applicator Tip 	Model No BGAT-27-SY (BioGlue Surgical 	One size only	Detail Amendment

Extender

AB011	Bioglue Surgical Adhesive - 2ml Solutions Cartridge  	Model No BG3002-5 (Bioglue Surgical Adhesive)	One size only	Detail Amendment

5 per pack

AB012	Peri-Strips Dry	Model No PSD 4506-EN	One size only	Detail Amendment

AB013	Peri-Strips Dry	Model No PSD 6006-UN	One size only	Detail Amendment

AB018	Peri-Strips Dry	Model No PSD 4506-UN	One size only	Detail Amendment

AB020	Peri-Strips Dry	Model No PSD 8006-UN	One size only	Detail Amendment

AB065	BioGlue Surgical Adhesive - Syringe Rigid Applicator	Model No BGAT-RT-SY (BioGlue Surgical 	One size only	Detail and Benefit Amendment

Tip 34cm

Advanced Medical Optics Australia Pty Ltd

Ophthalmic

AO007	Viscoelastic Fluid: AMO Vitrax (sodium 	Surgically Implanted Intraocular Viscoelastic 	0.65mL	Detail Amendment

hyaluronate) 30mg/mL, 0.65mL

AO008	Healon, Intraocular Viscoelastic Fluid	Sodium Hyaluronate 10mg/ml	Healon 0.4ml, 0.55ml & 0.85ml	Detail Amendment

AO012	Baerveldt Glaucoma Implant BG 101-350, Baerveldt 	Non-valved artificial drainage device, composition 	Surface area 250, 350, 425mm2	Detail and Benefit Amendment

Glaucoma Implant BG 103-425, Baerveldt Glaucoma 	silicone - smooth, tumble-polished finish

Implant BG 103-250

AO014	TECNIS™ Intraocular Lens (Z9002 & ZA9003)	Foldable Intraocular Lenses - Ultraviolet light 	5-10 dioptre in 1.0 dioptre increments; 10.5 - 30 	Detail Amendment

absorbing posterior chamber intraocular lenses, 	dioptre in 0.5 increments

Silicone/Acrylic

AO020	ReZoom Acrylic Multifocal Intraocular Lens	Acrylic, foldable, posterior chamber, intraocular lens	6.0mm Optic Diameter x 13.0mm overall length	Detail Amendment

Changed Items for Prostheses List Report	Page 2 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

AO023	TECNIS™ Multifocal Intraocular Lens (ZM900)	Tecnis Multifocal foldable Posterior Chamber 	+5.0 Diopter to 34.0 Diopter in 0.5 diopter 	Detail Amendment

Diffractive Intraocular Lens Model ZM900.

Posterior Chamber lens with UV light-absorbing,

foldable, silicone, 3 piece with a diffractive posterior

optic and a Modified Prolate Anterior Surface

AO024	Tecnis™ One Piece (ZCB00)	One piece intraocular lens with edge modification and	+6 diopters to +30 diopters in 0.5d increments	Detail Amendment

360 degree square edge

AO026	TECNIS™ Multifocal Intraocular Lens (ZMA00)	Posterior chamber lens with UV light-absorbing, 	+5 diopters to +34 diopters in 0.5d increments	Detail Amendment

foldable acrylic, 3-piece with a diffractive posterior

optic and a modified anterior surface technology with

edge modification and 360 degree square edge.

Advanced Surgical Design & Manufacture Ltd

Specialist Orthopaedic

AE012	ASDM Bone Screw	Titanium 	2.0 - 6.5mm dia, length 4-150mm	Detail Amendment

AE036	Opening Wedge Tibial Ostectomy Plate	Titanium	6mm - 20mm	Detail Amendment

AE052	ASDM K-wire	Stainless steel - sterile	Dia 0.7 - 2.5mm, length 100 - 230mm	Detail Amendment

AE068	ASDM Clavicle Compression System	Clavicle Compression PinTitanium Screw, Double 	3.2 & 4.0 mm x 50mm - 130mm	Detail Amendment

Threaded

AE069	Threaded wires & pins	Threaded wires & pins	1.0-5.0mm diametersvarious threaded lengths	Detail Amendment

AE070	ASDM Steinmann Pin	Steinmann Pin	2.8-5.0mm diameter	Detail Amendment

AE080	Carpal Fusion System Screw	316L Stainless Steel, Low Profile Custom Thread 	2 - 7 mm Diameter 12 - 24mm Length	Detail Amendment

AE094	ACL Fixation Screws Tapered	Flat Head, Tappered, Titanium	9 - 11mm Diameter 30mm Length	Detail Amendment

AE095	ASDM Standard ACL Fixation Screw	Standard Flat Head Screw	7 - 11mm Diameter 20mm - 50mm Length	Detail Amendment

AE096	ACL Fixation Screws	Round Head, Titanium	7-11mm Diameter 25 - 35mm Length	Detail Amendment

AE097	Tibial Post Screw	Titanium	5 - 6mm	Detail Amendment

AE098	Low Profile Tibial Screw	Titanium	7 - 10mm Diameter 25 -40mm Length	Detail Amendment

Advanced Surgical Technologies

Orthopaedic

AD174	Advantim Total Knee System	Patella All Poly UHMWPE	25,28,32mm, 35mm, 38mm, 41mm	Detail Amendment

AD195	Advantim / Ortholoc Revision Knee	Femoral stems titanium	5 Degree Size 4 10mm	Detail Amendment

5 Degree Size 6 10mm

7 Degree Size 4 10mm

7 Degree Size 6 10mm

AD236	Profemur Total Hip System	Titanium Femoral Necks	Length 27 - 38.5mm; Neutral to Ante/Retro - Varus 	Detail Amendment

Valgus 2

AD270	SLR Biploar Acetabular Shell	Cast Cobalt Chrome Alloy	38mm - 65mm in millimetre increments	Detail Amendment

AD321	Quadra-Fix Acetabular Shell	Dysplasia Cup, Porous Coated, HA	O.D. 44mm - 66mm	Detail Amendment

Specialist Orthopaedic

Changed Items for Prostheses List Report	Page 3 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

AD242	Limb Salvage System for the Skeletally Immature - 	Repiphysis non invasive expandable custom designed	Custom Made	Detail Amendment

Repiphysis	 prosthesis for the upper limb (all components

delivered as one unit)

Alcon Laboratories (Aust.) Pty Ltd

Ophthalmic

AL005	DUOVISC VISCOELASTIC SYSTEM	PROVISC contains sodium hyaluronate, VISCOAT 	Small & large packs	Detail Amendment

contains chondroitin sulfate and sodium hyaluronate

AL006	PROVISC VISCOELASTIC SOLUTION	PROVISC contains sodium hyaluronate	0.55mL & 0.85mL packs	Detail Amendment

AL007	VISCOAT Viscoelastic Fluid	Chondroitin sulfate and sodium hyaluronate	0.75mL	Detail Amendment

AL022	 AcrySof ReSTOR PC SN60D3	Posterior Chamber, UV absorbing, foldable, acrylic, 	+6.0 to +30.0 D	Detail Amendment

single piece lens with apodised diffractive optic and

blue light protection.

AL027	ReSTOR multipiece apodised diffractive blue light 	Foldable acrylic mutli-piece lens with apodised 	+6 to +30 Diopters	Detail Amendment

filtering PC IOL Model MN60D3	diffractive optic and blue light protection

AL028	AcrySof IQ ReSTOR SN6AD3	Posterior Chamber, UV absorbing, foldable, acrylic, 	+6 D to + 30 D	Detail Amendment

single piece lens with apodised diffractive optic and

blue light protection

AL030	AcrySof IQ ReSTOR SN6AD1 and MN6AD1	Posterior Chamber, UV absorbing, foldable, acrylic, 	+6 D to + 30 D	Detail Amendment

single and multiple lenses with apodised diffractive

optic and blue light protection

AL031	AcrySert C Model SN6CWS	Posterior chamber, UV absorbing, foldable, acrylic, 	+6.0 to +30.0 D	Detail Amendment

single piece lens with blue light protection and

aspheric correction, in cartridge

AL032	AcrySof Toric Aspheric IOL	Posterior chamber, UV absorbing, foldable, acrylic, 	+6.0 to +30.0 D	Detail Amendment

toric, single piece lens with blue light protection and

aspheric correction

Allergan Australia Pty Limited

General Miscellaneous

AW003	Rapid Port Tack	Implantable acetal copolymer disk assembly, rotor 	Outside diameter for the tack 30.5mm diameter by 	Detail Amendment

assembly with three stainless steel fasteners.  The 	5.6mm Height.  The wires extend 3mm below the

fasteners, when deployed by rotating the rotor, 	bottom surface.

extend about 3mm below the undersurface of the

AllVascular Pty Ltd

Vascular CAG

VA001	Venous Valve Ring	Dacron/silicone variable diameter ring	52mmx15mmx0.09 mm	Detail and Benefit Amendment

Applied Medical Australia Pty Ltd

General Miscellaneous

Changed Items for Prostheses List Report	Page 4 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MH008	Applied Medical Laparoscopic Clip Applier - 	Disposable Clip Applier made from polycarbonate, 	Medium - large - 20 clips per device	Detail Amendment

Disposable Cartridge - CA001 Box of 10	nylon, stainless steel, liquid crystal polymer, bone

wax, titanium clip.  The disposable cartridge is used

in conjunction with a reuseable handle.

MH014	Direct Drive laparoscopic clip applier with TiGold 	Single-use, sterile 10mm laparscopic clip applier with	10mm shaft diameter with medium-large size clips.	Detail and Benefit Amendment

titanium clips	 20 medium-large size titanium clips

Arthrocare Australasia Pty Ltd

Specialist Orthopaedic

AF001	TwinLock Knotless Twin Anchors with Suture and 	All in one Dual/Twin implant anchors for tendon to 	1.8mm x 14mm with a 6.1mm cortical wing span.	Detail Amendment

Suture passer	bone healing with integrated suture and suture passer.

AF002	AutoCuff System - Suture Cartridge	SmartStitch Magnum Wire - Ultra high tensile strength	.	Detail Amendment

AF003	AutoCuff System - Suture Cartridge	SmartStitch Suture Cartridge	Number 2 braided polyester	Detail Amendment

AF004	AutoCuff System	Magnum Knotless Implant - w/ inserter handle	One Size Only	Detail Amendment

AF005	Magnum Arthroscopic Knotless Anchor Implant	Arthroscopically implanted stainless steel suture 	1 - 2.8mm x 8.0mm x 5.0mm;  2 - 2.8mm x 13mm x 	Detail Amendment

anchor for rotator cuff or labrum repair	7.2mm

AF006	Atlantech graft fixation screw - titanium	Titanium ACL Screw	7 x 20mm, 7 x 25mm, 7 x 30mm,  8 x 20mm, 8 x 	Detail Amendment

25mm, 8 x 30mm, 9 x 20mm, 9 x 30mm

AF008	ParaFix Anchor	Tendon to bone anchor	ParaFix Anchors are available in: 3mm,5mm and 6.5mm	Detail Amendment

AF009	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5-2.5 mesh plates, 14 x 14 holes; 1.5mm baby mesh	Detail Amendment

Acid Trimethylene Carbonate Copolymer	 plate 14 x 14 holes

AF010	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5-2.5 mesh plate, 7 x 7 holes; 1.5mm baby mesh 	Detail Amendment

Acid Trimethylene Carbonate Copolymer	plate 7 x 7 holes

AF011	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5mm baby plates:- 20 hole, c-plate & x-plate 7 	Detail Amendment

Acid Trimethylene Carbonate Copolymer	hole, 2 hole

AF012	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5mm plates:- 20 holes, c-plate & x-plate 7 hole, L-	Detail Amendment

Acid Trimethylene Carbonate Copolymer	plate 7 hole L & R. burrhole

AF013	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5-2.5mm plates:- 2-10 hole plates and extended, c-	Detail Amendment

Acid Trimethylene Carbonate Copolymer	plate & x-plate 7 hole, H-plate 8 hole, orthognathic

hole and L-plate L & R 7 hole

AF014	CPS Screws	Polylactic acid trimethylene carbonate copolymer	1.5-3.1mm screw ring 5 pcs	Detail Amendment

AF016	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 6 & 8 hole	Detail Amendment

AF018	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Pin 1.5 & 2 mm dia x 20-50 mm long	Detail Amendment

AF021	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 40mm, 2.5 x 30mm, 4.5 x 90mm	Detail Amendment

AF031	CPS Screw Hexalon Biodegradable ACL/PCL 	Biodegradable ACL/PCL Recon Screw 	6 x 20, 6 x 25, 6 x 30, 7 x 20, 7 x 25, 7 x 30, 8 x 20, 8 	Detail Amendment

Reconstruction	PLLA/PGA/TMC	x 25, 8 x 30, 9 x 20, 9 x 25, 9 x 30, 10 x 30

AstraZeneca Pty Ltd

Plastic and Reconstructive

AZ001	Astra Tech Cover Screws	Cover Screw	Diameter 3.0mm, 3.5mm, 4.0mm, 4.5/5.0mm Short, 	Detail Amendment

4.5/ 5.0mm Long

Changed Items for Prostheses List Report	Page 5 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

AZ002	Astra Tech MicroThread Fixtures and MicroThread 	Titanium fixture with microthreaded cervical neck	Diameter 3.0, 3.5 - 5.0mm, Length 8-19mm	Detail Amendment

Osseospeed Fixtures

AZ003	Astra Tech Healing Abutments	Healing Abutments, Healing Abutments Zebra	Healing Abutments 3.0, Zebra 1.5, 3.0, 4.5, 6.0mm; 	Detail Amendment

Healing Abutment 5.5mm Ultra, Short, Long; 7.0mm

Short, Long; ST Short, Long; ST 5.5mm Short, Long;

ST 7.0mm Short, Long; Temporary Abutment 3.5,

4.0 4.0/5.0mm

AZ004	Astra Tech Abutments	Temporary Abutment	Diam 3.0 - 5.0mm	Detail Amendment

Atrium Australia - Pacific Rim Pty Limited

Cardio-thoracic

AC030	Cinatra Cobalt Chromium Coronary Stent System	The Cinatra Cobalt Chromium Coronary Stent 	Diameter range: 2.5mm - 3.5mm.  Length range: 8mm 	Benefit Amendment

System consists of a balloon expandable Cobalt 	- 25mm

Chromium stent premounted on a rapid exchange

Vascular CAG

AC001	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	Detail and Benefit Amendment

AC002	Atrium PTFE Vascular Graft	Straight PTFE Standard Wall	6mm x 10cm - 10mm x 90cm	Detail and Benefit Amendment

AC003	Atrium PTFE  Vascular Graft	Tapered PTFE Standard Wall	4-6mm x 30cm - 6-8mm x 90cm	Detail and Benefit Amendment

AC004	Atrium PTFE  Vascular Graft	Vascular Access Graft PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	Detail and Benefit Amendment

AC012	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	Detail and Benefit Amendment

AC013	Atrium PTFE Vascular Graft	Straight PTFE Thin Wall	6mm x 10cm - 10mm x 90cm	Detail and Benefit Amendment

AC014	Atrium PTFE Vascular Graft	Tapered PTFE Thin Wall	4-6mm x 30cm - 6-8mm x 90cm	Detail and Benefit Amendment

AC015	Atrium PTFE Vascular Graft	Vascular Access Graft PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	Detail and Benefit Amendment

AC016	Atrium Ultramax PET Grafts	Bifurcate Polyster Graft	12mm x 24mm - 6mm x 12mm x 40cm	Detail and Benefit Amendment

AC017	Atrium Ultramax PET Grafts	Axillo-bifemoral Polyster Graft	8mm - 10mm  100 x 60cm	Detail and Benefit Amendment

AC018	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 15cm  - 24mm  x 30cm	Detail and Benefit Amendment

AC019	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 40cm  - 8mm  x 100cm	Detail and Benefit Amendment

AC023	Advant PTFE V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless 	5mm - 12mm Diameter	Detail and Benefit Amendment

Steel Peripheral Vascular Stent

AC026	Advanta SST	Bifurcated PTFE Graft	12mm - 24mm X 6mm - 12mm Length 40cm	Detail and Benefit Amendment

AC027	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless 	12 - 16 mm diameter 29mm length. 80cm and 120cm 	Detail and Benefit Amendment

Steel Vascular Stent	catheter lengths

AC028	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless 	12 - 16 mm diameter 41mm length. 80cm and 120cm 	Detail and Benefit Amendment

Steel Vascular Stent	catheter lengths

AC029	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated Stainless 	12 - 16 mm diameter 61mm length. 80cm and 120cm 	Detail and Benefit Amendment

Steel Vascular Stent	catheter lengths

Aus Systems Pty Ltd

Specialist Orthopaedic

AU001	Aus Systems Titanium Miniplates (Bone Plates)	2hole x 2hole Strip Plate Stiff	1.2mm profile, 4, 6, 8mm length between inner holes	Detail Amendment

Changed Items for Prostheses List Report	Page 6 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Austofix

Specialist Orthopaedic

AX003	Austofix Intramedullary Screws	Humeral Head Screw, stainless steel	4.3mm	Detail Amendment

AX009	Austofix Intramedullary Nail	Custom Nails, stainless steel	5-13mm	Detail Amendment

AX013	Proximal Humeral Nail	Stainless Steel	Diameter 8 mm, Length 170 mm	Detail Amendment

AX020	S2 Nail System	Cannulated supracondylar nail, stainless steel	11/13mm x 160-380mm	Detail Amendment

AX021	S2 Nail System	6.2mm condylar screws	6.5mm x 60-85mm	Detail Amendment

AX022	Austofix Femoral & Tibial Nailing System	Tibial Nail 4.0/4.8; s-s	Dia 8 - 11mm, Lengths 260 - 420mm	Detail Amendment

AX023	Austofix Femoral & Tibial Nailing System	4.0/4.8 Screws; Locking; dual thd; high nitrogen s-s	Dia 4.0 - 4.8mm; Lengths 20-80mm	Detail Amendment

AX024	Austofix Femoral & Tibial Nailing System	F2 Femoral Nail 4.8/6.2; s-s	Dia 9 - 12mm; Lengths 320 - 460mm	Detail Amendment

AX025	Austofix Femoral & Tibial Nailing System	6.2/6.5mm Hip Screw; high nitrogen s-s	Dia 6.2 & 6.5mm; Lengths 70 - 120mm	Detail Amendment

AX026	Austofix Femoral & Tibial Nailing System	F2 Hip Nail 4.8/6.5; high nitrogen s-s	Dia 11mm, Length 170mm - 240mm	Detail Amendment

AX027	Austofix Femoral & Tibial Nailing System	Washer for screws; s-s	Dia 11mm & 13mm	Detail Amendment

AX029	Austofix Femoral & Tibial Nailing System	End Cap; I.M. Nails; s-s	8 - 13mm	Detail Amendment

AX040	VRP Distal Radius Fixation System, Volar Distal 	Volar Distal Radius Plate - Wide	Wide, 3 and 4 hole, left and right	Detail Amendment

Radius Plate - Wide

AX041	VRP Distal Radius Fixation System Volar Distal 	Volar Distal Radius Plate - Standard	Standard, 3 and 4 hole, left and right	Detail Amendment

Radius Plate - Standard

AX042	VRP Distal Radius Fixation System, 3.5mm Cortical 	3.5mm Cortical Screw, Titanium	3.5mm diameter, 10mm-20mm lengths	Detail Amendment

Screw, Titanium

AX043	VRP Distal Radius Fixation System, Threaded, mpm-	Threaded, non-threaded, partially threaded locking, 	2.0, 2.5, 2.6mm diameter, 14mm-30mm lengths	Detail Amendment

threaded, partially threaded locking, non-locking 	non-locking screw, peg, titanium

screw, peg, Titanium

AX051	Tectona Hip Plate - Cortical Screw	Cortical Screw, self tapping	4.5mm, lengths 28-46mm	Detail Amendment

AX052	Tectona Hip Plate - Compression Screw	Comprssion screw, sterile packed	Length 36mm. For compression with Tectona Lag 	Detail Amendment

Screw

AX053	Tectona Hip Plate - Locking Screw	Locking screw, self tapping	5.0mm, lengths 28-46mm	Detail Amendment

AX054	Tectona Hip Plate - Standard Lag Screw	Hip Lag Screw, sterile packed	12.5mm, 14.5mm	Detail Amendment

AX055	Tectona Hip Plate - Lag Screw HA coated	Hip Lag Screw HA coated, sterile packed	12.5mm - lengths 50-145mm	Detail Amendment

AX056	Tectona Hip Plate	Hip plate, locking with removable targeting jig, sterile	130, 135 and 140 degree, 2 to 8 hole	Detail Amendment

packed

Austspine Pty Ltd

Neurosurgical

AJ017	Denali Spinal System / ATR Set Screw	Set Screw	8mm diameter and 4mm height	Detail Amendment

AJ024	Smartloc Spinal Fixation System / Set Screw	Set screw for poyaxial pedicle screw	8mm diameter, 5mm height	Detail Amendment

AJ040	Pyrenees Cervical Plate	3, 4 and 5 level cervical plate	57mm to 110mm	Detail Amendment

Changed Items for Prostheses List Report	Page 7 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Auto Suture Company, Australia T/A Tyco Healthcare Pty

General Miscellaneous

AS030	TA* Reloading Units	Premium Multifire TA* Disposable Surgical Stapler 	90mm (3.5mm, 4.8mm)	Detail Amendment

and Loading Unit

AS052	Chemosite Implantable Venous Access System	Port - Single Lumen (ChemoSite*)	7-9 french; 10.5 french.	Detail Amendment

AS134	DST Series EEA Or Vil	Accessory	21mm, 25mm	Detail and Benefit Amendment

AS135	DST™ Series EEA™ XL	Circular Stapler	5 sizes	Detail and Benefit Amendment

AS137	Endo Clip III	Laparoscopic 5mm Clip Applier	5mm	Detail and Benefit Amendment

AS138	Prevadh	Adhesion Prevention film	12x12cm, 17x12cm	Detail and Benefit Amendment

AS139	Parietex Composite 9F	Dual sided polyester meshes with a resorbable 	9cm round	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS140	Parietex Composite 12F	Dual sided polyester meshes with a resorbable 	12cm round	Detail and Benefit Amendment

adhesion-prevention hydrophlic film

AS141	Parietex Composite 15F	Dual sided Polyester meshes with a resorbable 	15cm round	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS142	Parietex Composite 20F	Dual sided polyester meshes with a resorbable 	20cm round	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS143	Parietex Composite 1510F	Dual sided polyester meshes with a resorbable 	15x10cm square	Detail and Benefit Amendment

adhesion -prevention hydrophilic film

AS144	Parietex Composite 2015F	Dual sided polyester meshes with a resorbable 	20x15cm square	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS145	Parietex Composite 2520F	Dual sided polyester meshes with a resorbable 	25x20cm Oval	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS146	Parietex Composite 3020F	Dual sided polyester meshes with a resorbable 	30x20cm oval	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS147	Parietex Composite 3728F	Dual sided polyester meshes with a resorbable 	37x28cm oval	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS148	Parietex Composite 1510OS	Dual sided polyester meshes with a resorbable 	15x10cm square	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS149	Parietex Composite 2015OS	Dual sided polyester meshes with a resorbable 	20x15cm square	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS150	Parietex Composite 2520OS	Dual sided polyester meshes with a resorbable 	25x20cm Square	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS151	Parietex Composite Hiatal Hernia Mesh	Composite Mesh	8x8cm, 9x8cm, 8.5x8cm	Detail and Benefit Amendment

AS152	Parietene Composite 12	Dual sided polypropylene mesh with resorbable 	12cm round	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS153	Parietene Composite 1510	Dual sided polypropylene mesh with resorbable 	15x10cm Square	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS154	Parietene Composite 1515	Dual sided polypropylene mesh with resorbable 	15x15cm	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS155	Parietene Composite 2015	Dual sided polypropylene mesh with resorbable 	20x15cm Oval	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

Changed Items for Prostheses List Report	Page 8 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

AS156	Parietene Composite 2520	Dual sided polypropylene mesh with resorbable 	25x20cm Oval	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS157	Parietene Composite 3020	Dual sided polypropylene mesh with resorbable 	30x20cm Oval	Detail and Benefit Amendment

adhesion-prevention hydrophilic film

AS158	ABSORBATACK ™	Larposcopic Absorbable Fixation Device	5mm, 10 tacks	Detail Amendment

AS159	Pleuraseal Lung Sealant System	5ml Polymer Kit, Sterile Single-use	1 kit/box	Detail Amendment

AS160	ABSORBATACK ™	Laparoscopic Absorbable Fixation Device	5mm, 20 tacks	Detail Amendment

AS161	Parietene ProGrip Mesh (PRE-SHAPED)	Pre-Cut, slit mesh with self gripping overlapping flap	12 x 8cm elliptic	Detail and Benefit Amendment

- right or left

AS162	Parietene ProGrip Mesh (FLAT)	Mesh with self gripping FLAT	15 x 9cm RECTANGLE	Detail and Benefit Amendment

AS163	Vacuseal  Vascular Sealant System	5ml Polymer Kit, Sterile, Single-use	1 kit/box	Detail Amendment

Urogenital

AS120	IVS Tunneller-Intravaginal Tunneller System	IVS Tunneller System Trans Obuturator with two 	50 cm (mesh)	Benefit Amendment

stylets and polypropylene mesh

B Braun Australia Pty Ltd

General Miscellaneous

BB082	Celsite Epoxy Single Access Port	Epoxy/titanium	Standard/small/baby	Detail Amendment

BB083	Celsite Epoxy Dual Access Port	Epoxy/titanium	Standard/small/baby	Detail Amendment

BB084	Celsite Single Access Port	MBS/PSU	Standard/small	Detail Amendment

BB086	Celsite Epoxy Peritoneal Port	Epoxy/titanium	32x27x13mm	Detail Amendment

BB294	Aesculap Ligating Clips	Aesculap Ligating Clips- Ligation Clips Titanium;	PL561T- Large	Detail and Benefit Amendment

BB297	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL565T - Small	Detail and Benefit Amendment

BB298	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL566T - small cardiopack of 24	Detail and Benefit Amendment

BB299	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL567T - medium	Detail and Benefit Amendment

BB300	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL568T - medium/large	Detail and Benefit Amendment

BB301	Challenger Ligating Clips	Challenger Ligating Clips Titanium Multifire	PL572 - small/medium	Detail and Benefit Amendment

Neurosurgical

BB015	Neuro-Patch	Polyesterurethane	12 x 14cm	Detail Amendment

BB108	Aneurysm Clip	Yasargil	4.5mm x 150g to 25.0mm x 200g	Detail Amendment

BB109	Aneurysm Clip	Yasargil Phynox Mini	2.8mm x 110g to 7.0mm x 130g	Detail Amendment

BB110	Aneurysm Clip	Yasargil Titanium	4.9mm x 150g to 20.0mm x 200g	Detail Amendment

BB111	Aneurysm Clip	Yasargil Titanium Mini	2.8mm x 110g to 7.0mm x 110g	Detail Amendment

BB112	Aneurysm Clip	Yasargil Reinforcing, Titanium/Phynox	One size only	Detail Amendment

BB113	Neuropatch Dura Substitute	Polyurethane	6 x 14cm	Detail Amendment

BB114	Neuropatch Dura Substitute	Polyurethane	6 x 8cm	Detail Amendment

BB115	Neuropatch Dura Substitute	Polyurethane	4 x 10cm	Detail Amendment

Changed Items for Prostheses List Report	Page 9 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BB116	Neuropatch Dura Substitute	Polyurethane	4 x 5cm	Detail Amendment

BB117	Neuropatch Dura Substitute	Polyurethane	2 x 10cm	Detail Amendment

BB118	Neuropatch Dura Substitute	Polyurethane	1.5 x 3cm	Detail Amendment

BB175	Yasargil Aneurysm Clip System	Phynox temporary clips are manufactured from 	3mm - 20mm length, phynox temporary clips.	Detail Amendment

BB176	Yasargil Aneurysm Clip System	Titanium termporary clips are manufactured from 	3mm- 25mm length, titanium temporary clips.	Detail Amendment

titanium

BB218	Kopitnik Microneurosurgical AVM Clips	Composition: Phynox (Cobalt-base-alloy)	2mm, 3mm, 4mm, 5mm - straight. 2mm, 3mm, 4mm, 	Detail Amendment

5mm - curved.

BB290	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium, 	5mm-9mm, 45 Deg	Detail Amendment

Permanent Standard Fenestrated

BB291	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium, 	5mm-13mm, 90 Deg	Detail Amendment

Permanent Standard Fenestrated

BB292	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox Cobalt 	5mm-9mm, 45 Deg	Detail Amendment

Alloy, Permanent Standard Fenestrated

BB293	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox Cobalt 	5mm-13mm, 90 Deg	Detail Amendment

Alloy, Permanent Standard Fenestrated

Orthopaedic

BB249	Bipolar Head	Bipolar shell plus liner	38 - 60mm	Detail Amendment

BB296	Metha - Modular neck adaptors	Modular neck adaptors made from CoCr  	CCD - 130°, 135 °, 140°; Offset  - 0mm, -5mm 	Detail Amendment

,+5mm; Version - 7.5° left ante/right retro, 0 °, 7.5 °

left retro/right ante

Specialist Orthopaedic

BB051	BRAUN AUST Intramedullary Nails	Compression Nail	100mmx10.5mm-610mmx12.5mm	Detail Amendment

BB052	BRAUN AUST Intramedullary Nails	Compression Screw	4.5mmx64mm-4.5mmx102mm	Detail Amendment

BB056	BRAUN AUST Intramedullary Nails	Fixation Screws	Dia 4.5mm-6mm,Length 20mm-96mm	Detail Amendment

BB057	BRAUN AUST Intramedullary Nails	Closure Screws	Length 8mm-10mm	Detail Amendment

BB059	BRAUN AUST Intramedullary Nails	Huckstep Fine Thread Screw	4.5mmx19mm-4.5mmx57mm	Detail Amendment

BB060	BRAUN AUST Intramedullary Nails	Isosorb Resorbable Fixation Pin	2mmx60mm-3.5mmx80mm	Detail Amendment

BB068	Caspar Screws	Stainless Steel	10mm-28mm	Detail Amendment

BB069	Caspar Screws	Titanium	10mm-28mm	Detail Amendment

BB071	Kirshner Wires all Sizes	Steel	Dia 0.8mm-3.0mm, Length 70mm-310mm	Detail Amendment

BB107	BRAUN AUST Intramedullary Nails	Nail for small bones	Dia 3mm-8mm	Detail Amendment

BB271	Aesculap Schanz Screw	Stainless steel	All sizes	Detail Amendment

BB303	Position HTO Implant System - Locking Screws	Titanium cancellous and cortical screw, locking head 	30mm-78mm x 4.5mm & 6.0mm diameter.	Detail Amendment

for solid plate fixation.

BB311	Position HTO Implant System - HTO Plate	Titanium Osteotomy Plate, internal fixation plate 	One size	Detail Amendment

used in proximal tibial repositioning osteotomy.

BB312	Position HTO Implant System - Spacer Block with 	Osteotomy Spacer Block, solid titanium. Consists of 	5mm - 16mm	Detail Amendment

Fixation Screw	block and fixation screw.

Changed Items for Prostheses List Report	Page 10 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Vascular CAG

BB017	Vascular Patch	Vascular patch	12x9 to 3x4	Detail and Benefit Amendment

BB018	Vascular Uni - Graft	Vascular graft	100cm	Detail and Benefit Amendment

BB019	Vascular Uni - Graft	Vascular graft	60cm	Detail and Benefit Amendment

BB020	Vascular Uni - Graft	Vascular graft	50cm	Detail and Benefit Amendment

BB021	Vascular Uni - Graft	Vascular graft	40cm	Detail and Benefit Amendment

BB022	Vascular Uni - Graft	Vascular graft	30cm	Detail and Benefit Amendment

BB023	Vascular Uni - Graft	Vascular graft	20cm	Detail and Benefit Amendment

BB024	Vascular Uni - Graft	Vascular graft	15cm	Detail and Benefit Amendment

BB025	Vascular Uni - Graft	Vascular graft	10cm	Detail and Benefit Amendment

BB026	Vascular Uni - Graft - Tapered	Vascular graft	12x6 to 24x12	Detail and Benefit Amendment

BB027	Vascular Uni - Graft - Bifurcated	Vascular graft	12x7 to 12x12	Detail and Benefit Amendment

BB106	Temporary Vena Cava System	Phynox/ combination of various metals inc. 	One size, expands to Max length 38mm/Max 	Detail and Benefit Amendment

Nickel,Copper, Molubden,Steel	diameter 30mm

BB119	Vascugraft	PTFE, Straight Standard Wall	Dia 4 - 10mm, length 40 - 50cm	Detail and Benefit Amendment

BB120	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 10 - 50cm	Detail and Benefit Amendment

BB121	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 60 - 80cm	Detail and Benefit Amendment

BB122	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 90cm	Detail and Benefit Amendment

BB123	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 10mm, length 80cm	Detail and Benefit Amendment

BB124	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 8mm, length 90 - 100cm	Detail and Benefit Amendment

BB125	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 70 - 100cm	Detail and Benefit Amendment

BB126	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length10 - 40cm	Detail and Benefit Amendment

BB127	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 10 - 40cm	Detail and Benefit Amendment

BB128	Vascugraft	Straight Standard Wall with Helix Support	Dia 6mm x  length 100cm	Detail and Benefit Amendment

BB129	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 80 - 90cm	Detail and Benefit Amendment

BB130	Vascugraft	Straight Standard Wall with Helix Support	Dia 4 - 6mm, length 50 - 70cm	Detail and Benefit Amendment

BB131	Vascugraft	Thin Wall Tapered	Dia 4 - 8mm, length 40 - 90cm	Detail and Benefit Amendment

BB132	Vascugraft	Thin Wall Centre Helix	Dia 6mm, length 45cm	Detail and Benefit Amendment

BB133	Vascugraft	Thin Wall Centre Helix	Dia 5 - 6mm, length 45 - 50cm	Detail and Benefit Amendment

BB134	Vascugraft	Thin Wall Centre Helix	Dia 4 - 8mm, length 70 - 80cm	Detail and Benefit Amendment

BB136	Vascugraft	Standard Tapered	Dia 4 - 8mm, length 70 - 90cm	Detail and Benefit Amendment

BB137	Vascugraft	Standard with Centred Helix	Dia 4 - 8mm, length 70 - 90cm	Detail and Benefit Amendment

BB138	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 30 - 70cm	Detail and Benefit Amendment

BB139	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 80cm	Detail and Benefit Amendment

BB141	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 70 - 80cm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 11 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BB142	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 40 - 60cm	Detail and Benefit Amendment

BB143	Vascugraft	Easy Glide - Standard Wall with Helix Short Taper	Dia 6 - 8mm, length 40 - 70cm	Detail and Benefit Amendment

BB144	Vascugraft	Easy Glide - Thin Wall Straight	Dia 6 - 8mm, length 40 - 70cm	Detail and Benefit Amendment

BB145	Vascugraft	Thin Wall Centred Helix Tapered	Dia 4 - 7mm, length 70cm	Detail and Benefit Amendment

BB146	Vascugraft	Easy Glide - Thin Wall Straight with Helix Support	Dia 6 - 8mm, length 40 - 80cm	Detail and Benefit Amendment

BB155	Vascugraft	Standard Tapered	Dia 4 - 7mm, length 30 - 70cm	Detail and Benefit Amendment

BB156	Vascugraft	Standard Wall with Tapered Centre Helix	Dia 4 - 8mm, length 40 - 45cm	Detail and Benefit Amendment

BB157	Vascugraft	Standard Wall Stepped Taper	Dia 4 - 8mm, length 40 - 45cm	Detail and Benefit Amendment

BB169	Vena Cava Filter System	PHYNOX Introducer system, 'J' Guidewire, 	Diameter 28 mm	Detail and Benefit Amendment

Seldinger needle, disposable scalpel

BB170	Celsite Access Port for pain relief	Composition - polysulphone.  Kit includes tunnelling	Diameter of septum:11.7mm.  Height: 11.5mm.  	Detail and Benefit Amendment

rod, filter, connectors, needles, syringe, tuohy needle	Dimension: 25.8 x 37.8mm

BB244	Coroflex Blue	Cobalt Chromium Alloy L605	2-4mm diameter, 8-25mm length	Detail and Benefit Amendment

Bard Australia Pty Ltd

General Miscellaneous

BA046	The Bard Button Implantable Injection, Infusion Port	Silicone Replacement Gastrostomy Device	18 - 24 French 	Benefit Amendment

BA063	Bard Mesh  	Composix Ventral mesh	10"x14"	Detail Amendment

BA064	Bard Mesh  	Composix Ventral mesh	12"x12"	Detail Amendment

BA065	Bard Mesh  	Composix Ventral mesh	2" x 4"	Detail Amendment

BA066	Bard Mesh  	Composix Ventral mesh	3" x 6"	Detail Amendment

BA067	Bard Mesh  	Composix Ventral mesh	4" x 8"	Detail Amendment

BA068	Bard Mesh  	Composix Ventral mesh	6" x 8"	Detail Amendment

BA069	Bard Mesh  	Composix Ventral mesh	8" x 10"	Detail Amendment

BA096	Bard Composix Kugel Hernia Patch	Small Oval w/e PTFE	8 x 12 cms	Detail Amendment

BA097	Bard Composix Kugel Hernia Patch	Medium Oval w/e PTFE	11 x 14 cms	Detail Amendment

BA098	Bard Composix Kugel Hernia Patch	Large Oval w/e PTFE	14 x 18 cms	Detail Amendment

BA099	Bard Composix Kugel Hernia Patch	Small Circle w/e PTFE	8 x 8cms	Detail Amendment

BA100	Bard Composix Kugel Hernia Patch	Large Circle w/e PTFE	12 x 12cms	Detail Amendment

BA101	Bard Composix E/X Mesh	Elliptical	4" x 6" (10 x 15cm)	Detail Amendment

BA102	Bard Composix E/X Mesh	Elliptical	6" x 8" (15 x 20cm)	Detail Amendment

BA103	Bard Composix E/X Mesh	Elliptical	7" x 9" (18 x 23cm)	Detail Amendment

BA104	Bard Composix E/X Mesh	Elliptical	8" x 10" (20 x 25 cm)	Detail Amendment

BA105	Bard Composix E/X Mesh	Elliptical	10" x 13" (25 x 33 cm)	Detail Amendment

BA106	Bard Composix E/X Mesh	Rectangle	10" x 14" (25 x 36 cm)	Detail Amendment

BA124	Memotherm Biliary Stent	Nitinol. Includes deployment system	Sizes - Diameter 8 - 10mm, Length 40 - 100mm	Detail Amendment

Changed Items for Prostheses List Report	Page 12 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BA127	Composix Kugel Hernia Patch	Extra large oval - w/e PTFE	20cm X 25cm	Detail Amendment

BA128	Composix Kugel Hernia Patch	Extra large oval - w/ePTFE	25cm X 33cm	Detail Amendment

BA131	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a self-	Extra Large Oval w/e PTFE 18cm x 23cm	Detail Amendment

expanding, non-absorbable, sterile prosthesis. Two

layers of monofilament, polypropylene mesh are

stitched to an ePTFE sheet; an extruded

monofilament PET polymer "ring" provides memory,

adds stability to the

BA135	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a self-	Oval w/e PTFE 16cm x 31.2cm	Detail Amendment

expanding, non-absorbable, sterile prosthesis. Two

layers of monofilament, polypropylene mesh are

stitched to an ePTFE sheet; an extruded

monofilament PET polymer "ring" provides memory,

adds stability to the

BA136	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, non-	4.3 cm x 4.3 cm (1.7" x 1.7")	Detail Amendment

absorbable, sterile prosthesis. Two layers of

monofilament, polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament PET

polymer "ring" provides memory, adds stability to

the device. The

BA137	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, non-	6.4 cm x 6.4 cm (2.5" x  2.5")	Detail Amendment

absorbable, sterile prosthesis. Two layers of

monofilament, polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament PET

polymer "ring" provides memory, adds stability to

the device. The

BA160	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side and 	7cm x 6cm Small	Detail Amendment

ePTFE mesh on the other side

BA161	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side and 	11cm x 8cm Large	Detail Amendment

ePTFE mesh on the other side

BA162	Bard CK Parastomal Patch	Bard CK Parastomal Patch	12.5 x 15.5cm, 15.5 x 20.5cm	Detail Amendment

BA163	X Port isp	Intermediate-sized MRI port with open-ended pre-	Port: Base 22.6 x 28.2mm.  Height: 11.7mm.  Weight:	Detail Amendment

attached or attachable Hickman single lumen catheter	 5.2g.  Catheter: 9.6Fr

BA164	X Port isp	Intermediate-sized MRI port with open-ended pre-	Port: Base 22.6 x 28.2mm.  Height: 11.7mm.  Weight:	Detail Amendment

attached or attachable Chronoflex single lumen 	 5.2g.  Catheter: 6 & 8Fr

BA165	X Port duo	Intermediate-sized MRI port with open-ended 	Port: Base 38.5 x 28.5mm, Height: 12.6mm, Weight: 	Detail Amendment

attachable Hickman dual lumen catheter	9.6g, Catheter: 10Fr

BA166	X Port duo	Intermediate-sized MRI port with open-ended 	Port: Base 38.5 x 28.5mm, Height 12.6mm, Weight: 	Detail Amendment

attachable Chronoflex dual lumen catheter	9.6g, Catheter: 9.5Fr

BA179	Bard Ventralex Hernia Patch	Bard Ventrlex Hernia Patch, Large	8cm x 8cm	Detail Amendment

BA186	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	3 x 6 inch	Detail Amendment

Mesh	coated with a biopolymer: a bioresorbable coating of

modified sodium hyaluronate,

carboxymethylcellulose & polyethylene glycol based

Changed Items for Prostheses List Report	Page 13 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BA187	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	4 x 8 inch	Detail Amendment

Mesh	coated with a biopolymer: a bioresorbable coating of

modified sodium hyaluronate,

carboxymethylcellulose & polyethylene glycol based

BA188	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	6 x 8 inch	Detail Amendment

Mesh	coated with a biopolymer: a bioresorbable coating of

modified sodium hyaluronate,

carboxymethylcellulose & polyethylene glycol based

BA189	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	8 x 12 inch	Detail Amendment

Mesh	coated with a biopolymer: a bioresorbable coating of

modified sodium hyaluronate,

carboxymethylcellulose & polyethylene glycol based

Vascular CAG

BA004	Encapsulated Carbon Lined Stent Graft	AV access PTFE covered nitinol self-expanding stent	4mm - 10mm diameter, 3cm - 8cm length	Detail and Benefit Amendment

BA005	Encapsulated Carbon Lined Stent Graft	Iliac / SFA PTFE covered nitinol self-expanding stent	4mm - 10mm diameter, 3cm - 12cm length	Detail and Benefit Amendment

BA010	Recovery G2	Nitinol self expanding vena cava filter	28mm Filter, 7Fr delivery System	Detail and Benefit Amendment

BA019	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin wall, 10 - 	4mm - 8mm diameter	Detail and Benefit Amendment

50cm long

BA020	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, 10 - 50cm long	3mm - 10mm diameter	Detail and Benefit Amendment

BA021	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin wall, greater 	4 - 8mm diameter	Detail and Benefit Amendment

than 50cm long

BA022	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall, 10-	4 - 19mm diameter	Detail and Benefit Amendment

50cm long

BA023	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall, greater	4 - 10mm diameter	Detail and Benefit Amendment

than 50cm long

BA024	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, greater than 50cm long	3 - 10 diameter	Detail and Benefit Amendment

BA025	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, 10-50cm long	3 - 19mm diameter	Detail and Benefit Amendment

BA026	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, greater than 50cm long	3 - 10mm diameter	Detail and Benefit Amendment

BA028	Impra PTFE Vascular Grafts	Distaflo ePTFE graft with preformed cuff and flex 	6-10mm diameter, 40 - 80cm length	Detail and Benefit Amendment

support

BA029	Impra PTFE Vascular Grafts	Venaflo ePTFE graft with preformed cuff	4mm - 8mm diameter, 10cm - 50cm length	Detail and Benefit Amendment

BA039	Grafts Vascular	Polyester pledgets	Rectangle, Oval, Circle, Square 2.9mm-8mm x 6mm - 	Detail and Benefit Amendment

9.5mm

BA040	VitaCuff, Hickman Catheter 	Dialysis/Apheresis catheter, dual lumen, silicone	36-45cm overall length	Detail Amendment

BA049	Broviac Catheters	Without VitaCuff, silicone	2.4 - 6.6 French Catheter	Detail Amendment

BA050	Hickman Catheters Single	Without VitaCuff, silicone  	7 - 14.4F French Catheter	Detail Amendment

BA051	Hickman Catheters Dual	Without VitaCuff, silicone	7 -  9 French Catheter	Detail Amendment

BA052	Hickman Catheters Triple	Without VitaCuff, silicone	13.5 French Catheter	Detail Amendment

BA056	Subcutaneous Ports	Hickman open-ended catheter, single lumen	8 - 9.6 French Catheter	Detail and Benefit Amendment

BA057	Groshong Subcutaneous Ports	Single or dual lumen catheter	8 - 9.6 French Catheter	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 14 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BA059	Dual Lumen Subcutaneous Ports	Silicone, Polyurethane or ChronoFlex Open-ended 	7 - 10 French Catheter	Detail and Benefit Amendment

Catheter

BA060	Hickman Subcutaneous Ports	Low-Profile	6 - 6.6 French Catheter	Detail and Benefit Amendment

BA089	Impra PTFE Vascular Grafts	ePTFE Cardiovascular Patch 0.4mm Oval	20 x 90mm	Detail and Benefit Amendment

BA093	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Rectangular, 	30 x 30mm, 10 x 90mm, 30 x 60mm	Detail and Benefit Amendment

Patch 0.4 Oval, Rectangular

BA125	Groshong Catheter	Single Lumen, Sizes 3fr-8fr Groshong Valved-Closed 	Single Lumen, sizes 3fr-8fr	Detail Amendment

ended catheter

BA129	Vascular Catheter	PICC - may include a Groshong Valved - Closed 	Single Lumen 3Fr - 6Fr	Detail Amendment

ended PICC, Single Lumen 3Fr-6Fr

BA140	HemoGlide Long Term Haemodialysis Catheter	Kit contents: 14.5fr catheter, 18g guidewire 	15, 19, 23 & 27cm straight kit; 19 & 23cm Pre-curved	Detail Amendment

introducer needle, 0.038" 70cm J-wire guidewire, 15fr	 kit; 19, 24 & 28cm  and 31cm Pre-curved jugular kit.

PTFE introducer sheath, 8" tunnelling device, 10-

12fr dualator vessel dilator, 2 adhesive dressings, 2

injections caps, silicone attachable suture wing, hep

BA159	HemoSplit Long Term Haemodialysis catheter	HemoSplit is a carbothane long term dual lumen 	Standard Kit (straight15cm to42cm and pre-curved 	Detail Amendment

catheter used to provide vascular access for 	19cm to31cm), Microintroducer Kits (straight 19cm

haemodialysis. It comprises of a double D lumen 	to 42cm & pre-curved 19cm to 31cm)

configuration catheter each lumen having an ID of

2.3mm) with a fixed split tip (to 7.5cmm) which

enables blood flo

BA171	Dynaflo AK Bypass Graft	PTFE Graft	7 & 8mm diameter. 50, 60, 70, 80cm lengths	Detail and Benefit Amendment

BA175	HemoGlide Long Term Haemodialysis Catheter	14.5Fr Double D stepped tip cuffed catheter	31cm PC2 Jugular Kit	Detail Amendment

BA177	SlimPort Ultra Low Profile Implanted Port	Ultra SlimPort Low Profile Plastic/Titanium port 	Port: 16.9 x 22.7mm (W) x 9.2mm (H); 2.9g Wt 6 Fr 	Detail and Benefit Amendment

with attachable Chronoflex® single lumen catheter	Catheter

BA178	Luminex Vascular Stent	Luminex nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 12cm lengths	Detail and Benefit Amendment

BA181	PowerPort	Sterile Titanium or MRI, subcutaneous implanted 	One size, OF Catheter	Detail and Benefit Amendment

port with attachable radiopaque open ended

ChronoFlex polyurethane catheter, intermediate kit

BA182	PowerPICC	Triple Lumen Power Injector Catheter	6F, 55cm length	Detail Amendment

BA183	PowerPICC	Dual Lumen Power Injector Catheters	5F, 6F, 55cm Length	Detail Amendment

BA184	PowerPICC	Single Lumen Power Injector Catheter	5F, 55cm length	Detail Amendment

BA185	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter:  6-10mm, Length:  20-100mm	Detail and Benefit Amendment

peripheral disease

BA190	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 15mm - 18mm, 0.035 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA191	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 19mm - 27mm, 0.035 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA192	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 28mm - 37mm, 0.035 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

Changed Items for Prostheses List Report	Page 15 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BA193	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 38mm - 56mm, 0.035 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA194	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 15mm - 18mm, 0.018 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA195	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 19mm - 27mm, 0.018 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA196	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in 	Stent Length  28mm - 37mm, 0.018 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA197	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in 	Stent Length 38mm - 56mm, 0.018 compatible	Detail and Benefit Amendment

delivery system: nylon balloon, stent and

deployment system

BA198	Lifestent Peripheral Stent	Stent: Nitinol composition with tanilum markers, 	6-8mm Diameter, length 20-90mm	Detail and Benefit Amendment

Items included in the delivery system: Stent,

deployment system

BA199	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter: 6-8mm, Length: 120mm	Detail and Benefit Amendment

peripheral disease

BA200	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter: 6-8mm, Length: 150mm	Detail and Benefit Amendment

peripheral disease

BA201	Lifestent	Laser cut nitinol self expanding stent, used to treat 	Diameter: 6-8mm, Length:170mm	Detail and Benefit Amendment

peripheral disease

Bausch & Lomb (Australia) Pty Ltd

Ophthalmic

BL015	Amvisc Plus injection	15mg/mL Sodium Hyaluronate for intraocular use	0.5mL and 0.8mL	Detail Amendment

BL022	SofPort Advanced Optic (AO)	Posterior chamber, foldable silicone IOL with anterior	0 D to 30.0 D	Detail Amendment

optic-haptic square edge, posteriof optic-haptic

square edge, 360-degree optic square edge and asperic

optic for aberration control

BL023	Akreos Advanced Optic	Posterior chamber, foldable acrylic IOL, with anterior	0 D to 30.0 D	Detail Amendment

optic-haptic square edge, posterior optic-haptic

square edge, 360 degree optic square edge and

aspheric optic for aberration control

BL025	SofPort Advanced Optic (AO) Violet Shield	Posterior chamber, aphakic, foldable silicone, anterior	6mm optic 13mm overall lengthModified  C 5 	Detail Amendment

& posterior edge modification intraocular lens with 	degree angulation 0-30D, 0.5D steps

aberration technology, a violet light

BL026	Akreos AO Micro Incision Lens	Micro Incision, posterior chamber, foldable acrylic, 	6mm optic overall diameter 11.0mm(10D-15D), 	Detail Amendment

aphakic, anterior & posterior edge modification, 	10.7mm (15.50-22D), 10.5mm (22.50-30D)

preloaded, with aberration contro, intraocular lens

Changed Items for Prostheses List Report	Page 16 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BL027	Crystalens HD	Accommodating lens with > 3 Dioptres of 	10.0 to 33.0 Dioptres in .05 Dioptre steps	Detail Amendment

accommodation with dual mechanism of action: (1)

forward axial movement of lens and (2)

accommodative arching of optic.  Posterior chamber,

polyspheric optics, 3-piece, plate haptic, foldable

UV light filtering, biconvex

Baxter Healthcare Pty Ltd

General Miscellaneous

BX214	TISSEEL Two Component Fibrin Sealant Syringe	Active ingedients:Sealer Protein Solution & Thrombin	2.0 ml (containing 1.0 ml of Sealer Protein Solution 	Detail Amendment

Solution - deep-frozen	and 1.0 ml of Thrombin Solution)

BX215	TISSEEL Two Component Fibrin Sealant Syringe	Active ingedients:Sealer Protein Solution & Thrombin	4.0 ml (containing 2.0 ml of Sealer Protein Solution 	Detail Amendment

Solution - deep-frozen	and 2.0 ml of Thrombin Solution)

BX216	TISSEEL Two Component Fibrin Sealant Syringe	Active ingedients:Sealer Protein Solution & Thrombin	10.0 ml (containing 5.0 ml of Sealer Protein Solution 	Detail Amendment

Solution - deep-frozen	and 5.0 ml of Thrombin Solution)

BX245	Patient Control Module	Sterile infusor devices, spring or elastomer driven	Module 0.5ml dose, Module 2 ml dose	Detail Amendment

BX246	Infusor	Sterile infusor devices, spring or elastomer driven	SV Half day, 5ml/hr, 60ml vol. LV 10, 10ml/hr, 	Detail Amendment

240ml vol. SV Single day, 2ml/hr, 48ml vol. LV 5,

5ml/hr, 240ml vol.

BX247	Intermate	Sterile infusor devices, spring or elastomeric driven	SV 200 - 200ml/hr, 100ml vol. SV 100 - 100ml/hr, 	Detail Amendment

100ml vol. LV 250, 250ml/hr, 275ml vol. SV 50 -

50ml/hr, 100ml vol.  LV 100  - 100ml/hr, 275ml vol.

LV 50, 50ml/hr, 275ml vol

BX248	Infusor	Sterile infusor devices, spring or elastomer driven	LV 2, 2ml/hr, 275 ml vol; LV 1.5, 1.5ml/hr, 275ml 	Detail Amendment

vol; SV Multi day, 0.5ml/hr. 60ml vol; SV Seven day,

0.5ml/hr, 96ml vol

BX249	Multirate with PCM	Sterile infusor devices, spring or elastomer driven	Multirate 5, 7 or 12 ml/hr with PCM	Detail Amendment

BX250	Basal/Bolus and Multirate Infusors	Sterile infusor devices, spring or elastomer driven	Basal/Bolus 60, Basal 0.5ml/hr, Bolus 0.5ml/hr x 	Detail Amendment

65ml; Basal/Bolus 15, Basal 0.5ml/hr, Bolus 2ml/hr x

65ml; Basal/Bolus infusor, Basal 2ml/hr, Bolus 2ml/hr

x 65ml; Multirate 5, 7 or 12 ml/hr x 300 ml;

Multirate 2, 4, or 6 ml/hr x 300 ml; Multirate 2, 3, or

5 ml/hr x 300 ml; Multirate 1, 2 or 3 ml/hr x 100 ml

BX252	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols 	2ml	Detail Amendment

(PEG's), COH102 and COH206, premixed and filled

into one syringe, a dilute hydrogen chloride solution

and a sodium phosphate/sodium carbonate solution

BX253	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols 	4ml	Detail Amendment

(PEG's), COH102 and COH206, premixed and filled

into a syringe, a dilute hydrogen chloride solution and

a sodium phosphate sodium carbonate solution

BX254	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols 	8ml	Detail Amendment

(PEG's), COH102 and COH206, premixed and filled

into a syringe, a dilute hydrogen chloride solution and

a sodium phosphate sodium carbonate solution

Changed Items for Prostheses List Report	Page 17 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BX260	ADEPT Adhesion Reduction Solution	ADEPT Adhesion Reduction Solution is a single use, 	1500ml	Detail and Benefit Amendment

sterile fluid for intraperitoneal administration.

ADEPT is intended to be used as an instillate for the

reduction of adhesions following abdominal surgery.

BX261	Tisseel Duplospray MIS Applicator 20cm	Two component Fibrin Sealant containing human 	A 20cm long dual lumen metal cannula	Detail and Benefit Amendment

derived fibrinogen and thrombin.

BX262	TISSEEL DUPLOCATH 180cm	Ttwo component Fibrin Sealant containing human 	A 180cm long double lumen flexible application 	Detail and Benefit Amendment

derived fibrinogen and thormbin.	catheter

BX263	COSEAL Spray Accessory Kit	A hydrogel that acts as a sealant by adhering to itself 	One size available	Detail and Benefit Amendment

and the tissues it contacts.  COSEAL is designed to

completely seal suture lines along vascular

reconstructions to prevent fluids from leaking.

BX264	TISSEEL DUPLOTIP 20g x 26.4cm	Ttwo component Fibrin Sealant containing derived 	A 26.4cm long dual umen applicator	Detail and Benefit Amendment

fibrinogen and thrombin.

BX265	TISSEEL DUPLOTIP 5mm x 31.8cm	Ttwo component Fibrin Sealant containing human 	A 31.8cm long dual lumen applicator	Detail and Benefit Amendment

derived fibrinogen and thormbin.

BX266	TISSEEL DUPLOSPRAY MIS APPLICATOR 	Ttwo component Fibrin Sealant containing human 	Packs of 10 sterile packs each containing 2 tips and 	Detail and Benefit Amendment

REPLACEMENT TIPS	derived fibrinogen and thrombin.	an installation tool

BX267	TISSEEL DUPLOSPRAY MIS APPLICATOR 40 cm	Two component Fibrin Sealant containing human 	A 40 cm long dual lumen metal cannula	Detail and Benefit Amendment

derived fibrinogen and thrombin.

BX268	TISSEEL DUPLOCATH 35cm MIC/MIS	Two component Fibrin Sealant containing human 	A 35cm long double lumen flexible application 	Detail and Benefit Amendment

derived fibrinogen and thormbin.

BX269	TISSEEL Easyspray Set	Ttwo component Fibrin Sealant containing human 	One size	Detail and Benefit Amendment

derived fibrinogen and thrombin.

BX270	COSEAL Applicator Tips 10 cm	COSEAL, which is listed on the Prostheses List, is a 	A 10cm long applicator tip	Detail and Benefit Amendment

hydrogel that acts as a sealant by adhering to itself

and the tissues it contacts.  COSEAL is designed to

completely seal suture lines along vascular

reconstructions to prevent fluids from leaking.  Thi

BX271	TiSSEEL DUPLOTIP 20g x 10.4cm	Two component Fibrin Sealant containing human 	10.4cm long dual lumen applicator	Detail and Benefit Amendment

derived fibrinogen and thrombin.

BX272	TISSEEL DUPLOCATH 25cm	Ttwo component Fibrin Sealant containing human 	A 25cm long double lumen flexible application 	Detail and Benefit Amendment

derived fibrinogen and thormbin.

BX273	Floseal Endoscopic Applicator	Used as an adjunct to haemostasis when control of 	A 35cm long disposable cannulated applicator.	Detail and Benefit Amendment

bleeding by ligature or conventional surgical

procedures is ineffective or impractical.

BX274	TISSEEL DUPLOTIP 20G x 5.3cm	Two component Fibrin Sealant containing human 	A 5.3 cm long dual lumen applicator.	Detail and Benefit Amendment

derived fibrinogen and thrombin.

BX275	COSEAL Extended Applicator 22 cm	COSEAL, which is listed on the Prostheses List, is a 	A 22 cm long malleable applicator	Detail and Benefit Amendment

hydrogel that acts as a sealant by adhering to itself

and the tissues it contacts.  COSEAL is designed to

completely seal suture lines along vascular

reconstructions to prevent fluids from leaking.  Thi

Changed Items for Prostheses List Report	Page 18 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BX276	Floseal Curved Applicator TIP 8 cm	FLOSEAL, which is listed on the Prostheses List, is 	An 8cm long curved metal applicator tip	Detail and Benefit Amendment

used as an adjunct to haemostasis when control of

bleeding by ligature or conventional surgical

procedures is ineffective or impractical.  This

applicator is an 8 cm curved metal tip, which is

attached t

BX277	TISSEEL DUPLOSPRAY MIS APPLICATOR 30 cm	Two component Fibrin Sealant containing human 	A 30 cm long dual lumen metal cannula	Detail and Benefit Amendment

derived fibrinogen and thrombin.

BX278	Floseal Curved Applicator Tip 10 cm	FLOSEAL is used as an adjunct to haemostasis when	A 10cm long curved metal applicator tip	Detail and Benefit Amendment

control of bleeding by ligature or conventional

surgical procedures is ineffective or impractical.  This

applicator is an 10 cm curved metal tip, which is

attached to the FLOSEAL syringe (sold separately)

Bio Excel Australia Pty Ltd

Cardio-thoracic

BE001	Gazelle Coronary Stent	Stainless Steel	Diam 2.25-4.0mm  Length 8-28mm	Benefit Amendment

Bio Nova International Pty Ltd

Vascular CAG

BN004	Omniflow II Vascular Prosthesis - Straight	-	3 - 4 mm x 20 cm	Detail and Benefit Amendment

Biomet Australia Pty Ltd

Orthopaedic

BI072	Modular Calcar Mallory Head Revision Hip System	Femoral stem, titanium, grit blast, non HA	12mm to 30mm x 250mm	Detail Amendment

BI081	ARCOS Modular Revision Hip System	Grit Blast Distal Stems, non HA	150mm - 200mm	Detail Amendment

BI096	Tripolar Acetabular Cup Series	Ringloc Series shell, UHMWPE liner and Chrome 	24-28mm	Detail Amendment

Cobalt head

BI118	Modular Calcar Mallory Head Hip System	Femoral Stem,  Titanium, plasma, no HA, long	220 - 300mm long, 12mm to 26mm diameter	Detail Amendment

BI960	Regenerex revision cup	acetabular augment, Porous Ti Alloy	48 to 58mm, small medium or large version	Detail Amendment

Plastic and Reconstructive

BH002	Lactosorb Resorbable Craniomaxillofacial Fixation 	Lactosorb Plates, 2mm System, All shapes 	8 - 15 hole	Detail Amendment

System

BI823	Alveolar Ridge Distraction System - titanium	distraction device, single tooth	10-20mm	Detail Amendment

BI824	Alveolar Ridge Distraction System - titanium	distraction device, multi tooth	10-20mm	Detail Amendment

BI870	Neurological Packs	Plate & screws: Neuro pack Burr cover or multi plate	1.5mm or 2mm system	Detail Amendment

set.  Thinflap 4 hole plus plate sets

BI949	Neurological Packs	Plate & screws: Neuro pack - single plate or thinflip 	1.5mm or 2mm system	Detail Amendment

2 hole plate set

BI990	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	4 - 7 hole	Detail Amendment

BI991	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	8 - 15 hole	Detail Amendment

Changed Items for Prostheses List Report	Page 19 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Specialist Orthopaedic

BI005	Re-Unite Orthopaedic System	Rotator Cuff Butress, Lactosorb; PGA/PLA	One size only	Detail Amendment

BI206	Arthrotek Ligament Fixation System	Screw and washer. Ti	Washer 14 - 18mm, Screw 24 - 60mm,	Detail Amendment

BI208	Bi-Angular Shoulder System	Bi Polar Shell, Titanium/ UHMWPE/Chrome Cobalt	Size 40-60mm	Detail Amendment

BI209	Bi-Angular Shoulder System	Bi Polar Head, Chrome Cobalt	Std to +4mm	Detail Amendment

BI214	Bio-Modular Shoulder System	Bi Polar shell/ Titanium, chrome Cobalt	40-60mm	Detail Amendment

BI215	Bio-Modular Shoulder System	Humeral Head, Chrome Cobalt	40-54mm	Detail Amendment

BI216	Bio-Modular Shoulder System	Humeral Stem, titanium	6-15mm	Detail Amendment

BI217	Bio-Modular Shoulder System	Glenoid Component, Cemented, 	Small, Medium, Large x 4 or 7mm	Detail Amendment

BI218	Bio-Modular Shoulder System	Modular Head, Chrome Cobalt	Std, +2, +4mm	Detail Amendment

BI219	Bio-Modular Shoulder System	Glenoid Liner Noncemented, UHMWPE	Low Profile	Detail Amendment

BI220	Bio-Modular Shoulder System	Glenoid Screw	5mm x (15-40mm)	Detail Amendment

BI221	Bio-Modular Shoulder System	Glenoid Shell, Titanium	Low Profile	Detail Amendment

BI222	Bio-Modular Shoulder System	Shoulder Offset Head, Chrome Cobalt	40-54mm	Detail Amendment

BI232	Moore Pins	Scan Pin, Stainless Steel	16mm x 51-152mm	Detail Amendment

BI233	Arthrotek Ligament Fixation System	Suture Button, HMWPE	15mm, 19mm	Detail Amendment

BI239	Arthrotek Ligament Fixation System	Interference Screw, Titanium	15-30mm	Detail Amendment

BI241	Gentle Threads Ligament Fixation Screws	Screw, Graft Interference, PGA/PLA	7mm, 8mm, 9mm, 10mm	Detail Amendment

BI246	Arthrotek Ligament Fixation System	Bone Mulch Screws, Titanium	10.5mm x (20-35mm)	Detail Amendment

BI248	SST Small Bone Locking Nail	Forearm Nail, Titanium	3.5mm x (180-260mm)	Detail Amendment

BI249	SST Small Bone Locking Nail	Screw, Distal Fixator, Titanium	One size only	Detail Amendment

BI250	SST Small Bone Locking Nail	Set Screw w/holder, Titanium	One size only	Detail Amendment

BI251	SST Small Bone Locking Nail	Nail End Cap, titanium	low profile, one size only	Detail Amendment

BI252	SST Small Bone Locking Nail	Fibula Nail, titanium	(3.5, 4.5mm) x 150mm	Detail Amendment

BI253	BMP Cable System	Cable Chrome Cobalt	1.6mm or 2.0mm	Detail Amendment

BI254	BMP Cable System	Cable Sleeve, Chrome Cobalt, Stainless Steel	One Size only	Detail Amendment

BI255	BMP Cable System	Trochanteric Grip, Chrome Cobalt	1.6mm or 2.0mm	Detail Amendment

BI256	BMP Cable System	Cable, Stainless Steel	1.6mm or 2.0mm	Detail Amendment

BI258	BMP Cable System	Dynamic Compression Plate, 3 hole, Stainless Steel	One size only	Detail Amendment

BI259	BMP Cable System	Dynamic Compression Plate, 5 hole, Stainless Steel	One size only	Detail Amendment

BI260	BMP Cable System	Dynamic Compression Plate, 7 hole, stainless steel	One size only	Detail Amendment

BI261	BMP Cable System	Dynamic Compression Plate, 9 hole, Stainless Steel	One size only	Detail Amendment

BI262	EBI XFIX Dynafix System	Bone Screw, Cortical, tapered, Cancellous, Stainless 	2.4mm to 6.00mm diameter	Detail Amendment

Steel

BI264	EBI XFIX Dynafix System	Distal Radius Fixator, Dimension, Stainless Steel, 	One size only	Detail Amendment

Aluminium

Changed Items for Prostheses List Report	Page 20 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BI265	EBI XFIX Dynafix System	Hybrid Fixation System, Stainless Steel, Aluminium	Rings - 1/3, 2/3, Rotating, 100mm-220mm.  Ring Bolt	Detail Amendment

- Xsmall, adult. Ring to fixator connector. Rotation

adaptor - male, female, Xsmall, adult. Variable wire (1

size) or Variable Screw Carriage (fixed and

angulating). Wire (1.6-2mm x 350-400mm). Washer

(9

BI267	EBI XFIX Dynafix System	Fixator Complete - includes T-Clamp, 	Standard, Small, Extra Small	Detail Amendment

Compression/Distraction, Dynamisation, Articulating

Ankle Clamp

BI271	EBI XFIX Dynafix System	Wire Straight or Olive with Washer, Chrome Cobalt	160 or 200mm x (1.6 or 2.0mm)	Detail Amendment

BI272	EBI XFIX Dynafix System	Distal Radius Fixator, Wristfix, Stainless Steel, 	One size only	Detail Amendment

Aluminium

BI277	Re-Unite Orthopaedic Bone Pin	Bone Pin, PGA/PLA	(1-4)mm dia x (20-70)mm	Detail Amendment

BI287	Uniflex Tibial Nail	Tibial Nail Transverse Screw, Titanium	4.0, 5.0mm x (20-70mm)	Detail Amendment

BI304	Rush Intramedullary Pins	Stainless Steel	3.2mm x (100-250mm)	Detail Amendment

BI306	Rush Intramedullary Pins	Stainless Steel	(6 - 6.4mm) x (280 - 440mm)	Detail Amendment

BI320	Arthrotek Harpoon System	Suture Anchor, Stainless Steel, Ti	1 to 5	Detail Amendment

BI342	Copeland Shoulder System	Glenoid, UHMWPE	One size only	Detail Amendment

BI343	Copeland Shoulder System	Humeral, Chrome Cobalt	Small, Std, Large (no specific size)	Detail Amendment

BI344	Copeland Shoulder System	Glenoid Component, HA Coated, Chrome Cobalt, 	Small, Std, Extra Deep (no specific size)	Detail Amendment

UHMWPE

BI345	Copeland Shoulder System	Humeral Component, Chrome Cobalt	Small, Std, Large (no specific size)	Detail Amendment

BI768	Mandibular Fracture System	Screw, IMF 2./2.4 Mandibular Fracture, Titanium	2.0 x(5 - 13)mm	Detail Amendment

BI775	EBI XFIX DynaFix System	Distal radius fixator, wristfix, sterile, complete	One size only	Detail Amendment

BI776	EBI XFIX DynaFix System	OptiROM Articulating Fixator Complete	Small and Large	Detail Amendment

BI777	EBI XFIX DynaFix System	Mini fixator/lengthener with comp/dist	Small, Medium, Long, 100mm, 150mm	Detail Amendment

BI819	EBI XFIX Dynafix System	Multi Axial Correction and Metaphyseal Arc 	4-8cm, Xsmall - Adult	Detail Amendment

Module complete with T-clamp

BI820	EBI XFIX DynaFix System	Screw, HA coated, cortical, cancellous	Dia 2-6mm	Detail Amendment

BI827	EBI XFIX Vision System	Rod Clamps/Connector, stainless steel/aluminium	Dia 9.5mm	Detail Amendment

BI828	EBI XFIX Vision System	Clamp/Rod, stainless steel/aluminium	4mm/6mm, 3-5 hole, 50-150mm	Detail Amendment

BI829	EBI XFIX Vision System	Screw, Transfixing, Stainless steel	4 - 6mm diameter	Detail Amendment

BI830	EBI XFIX Vision System	Ring Connector Assembly, stainless steel/aluminium	1 or 2 bolt model	Detail Amendment

BI831	EBI XFIX Vision System	Post, Bone Screw, Telescoping, stainless steel	One size only	Detail Amendment

BI832	EBI XFIX Vision System	Rods, Bars, stainless steel/aluminium/carbon fibre	Dia 9.5mm, 150-400mm length	Detail Amendment

BI834	EBI XFIX DynaFix System	Screw, VS Osteotomy System, Ti	6mm x (30mm-110mm)	Detail Amendment

BI835	Bio-Modular Shoulder System	Extended Articular Surface Humeral Head, CrCo	40 - 54mm	Detail Amendment

BI843	EBI XFIX DynaFix System	Plate, VS Osteotomy  Ti	4 hole, 6 hole	Detail Amendment

BI849	EBI XFIX DynaFix System	OptiROM Passive Distractor Module	One Size Only	Detail Amendment

Changed Items for Prostheses List Report	Page 21 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BI850	EBI XFIX DynaFix System	Hip Distractor Aluminium, Stainless Steel, Titanium	One Size Only	Detail Amendment

BI851	EBI XFIX Dynafix System	Clamp (Straight, Transport, Rotational T-clamp, 	Ex Small, Small, Adult, 4-6mm	Detail Amendment

Adaptor, Lenghtener, Shim, Single)

BI852	EBI XFIX Dynafix System	Clamp (Rotational Serrated T-clamp, Swivel, 	Ex Small, Small, Adult, 4-6mm	Detail Amendment

Translational, Uniplaner, CD)

BI853	EBI XFIX Dynafix System	CD Clicker	Ex Small, Small, Adult, 5-20cm	Detail Amendment

BI854	EBI XFIX Dynafix System	Rail Accessory (Adaptor, CD Support, 	Ex Small, Small, Adult, 4-6mm	Detail Amendment

Dynamization, Bridge)

BI855	EBI XFIX Dynafix System	Wrench	Ex Small, Small, Adult, 3-6mm	Detail Amendment

BI856	EBI XFIX Dynafix System	Rail (Carbon Fiber)	100-420mm	Detail Amendment

BI857	Kirschner Wires	Stainless Steel wire	(1-3.2mm) diameter x (100 to 310mm) length	Detail Amendment

BI880	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Proximal Body - Std to +20	Detail Amendment

BI881	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Segment - 80 to 140 mm	Detail Amendment

BI882	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Stem - 6.5 to 14.5 mm x 50 to 200 mm	Detail Amendment

BI884	Comprehensive Fracture Stem	Fracture Stem Cobalt Chrome, Titanium	4,6,8,10,12,14mm	Detail Amendment

BI915	Batcup	6.5mm Ti Cancellous Bone Screws	12mm to 45mm	Detail Amendment

BI920	EZLoc Femoral fixation Device	Ligament Anchor, Ti, PE	7-8; 9-10mm x Short, std or long.	Detail Amendment

BI921	EBI Paediatric Locking Nail System	Femoral Locking Nail - titanium;	28 -42cm x 5.5 - 6.5mm	Detail Amendment

BI922	EBI Paediatric Locking Nail System	Screw Pilot Double Thread - titanium;	20 - 68mm x 4.0mm	Detail Amendment

BI923	EBI Paediatric Locking Nail System	Nail end cap, titanium	5.5mm - 6.5mm	Detail Amendment

BI929	Sternalock	Screws Ti	2.4-2.7mm x 8-12mm	Detail Amendment

BI930	Sternalock	Plates - xyphoid, "L" & square	4 hole	Detail Amendment

BI931	Sternalock	Plates - "X" & "T"	5-8 hole	Detail Amendment

BI968	ToggleLoc	Femoral Fixation Device	15mm-60mm	Detail Amendment

BI969	MaxFire	Meniscal Repair Device	one size	Detail Amendment

BI979	Hitch suture anchor	Suture anchor with maxbraid sutures, PEEK	2.4mm	Detail Amendment

Biotronik Australia Pty Ltd

Cardio-thoracic

BT060	Philos II DR	Multiprogrammable, rate responsive, DDDR	One size only	Benefit Amendment

BT062	Philos II SR	Multiprogrammable, Rate Responsive, SSIR 	One size only	Benefit Amendment

BT063	Selox SR	Lead, pacemaker, implantable, endocardial	45, 53, 60cm length	Benefit Amendment

BT066	Selox ST	Transvenous Bipolar Passive Steroid Ventricular 	53 and 60cm lengths	Benefit Amendment

Pacing Lead, fractal coated

BT067	Selox JT	Fractal coated steroid electrode	45 and 53cm lengths	Benefit Amendment

BT070	Corox OTW UP Steroid	Coronary Sinus Lead	77, 87cm	Benefit Amendment

BT071	Philos II DR-T	Dual Chamber Rate Responsive with Home 	One size only	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 22 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BT079	Cylos DR-T	Dual chamber dual sensor rate responsive with home 	one size	Detail and Benefit Amendment

monitoring system option

BT080	Cylos VR	single chamber dual sensor rate responsive	one size only	Benefit Amendment

BT082	PRO-Kinetic	Cobalth Chromium coronary stent system	8-40mm length 2-5mm diameter	Benefit Amendment

BT083	Setrox S	Bipolar active fixation lead with fractal coated and 	length 45, 53, 60cm	Benefit Amendment

steroid eluting electrode

BT084	Linox SD	Fractal coated and steroid electrode, active fixation 	65, 75cm length, 16, 18mm elec dis	Benefit Amendment

quadrapolar

BT085	Stratos LV-T	Multiprogrammable Biventricular DDDRV with 	One size only	Detail and Benefit Amendment

Home Monitoring

BT086	Lumax 340 DR-T	ICD-DR 34 J with bidirectional Home Monitoring. 	One Size Only	Detail and Benefit Amendment

Dual chamber

BT087	Lumax 300 VR-T	ICD-VR with bidirectional Home Monitoring. Single 	One Size Only	Detail and Benefit Amendment

chamber

BT088	Lumax 300 HF-T	CRT-D with bidirectional Home Monitoring	One size only	Detail and Benefit Amendment

BT089	Lumax 340 HF-T	CRT-D 34 J with bidirectional Home Monitoring	One Size Only	Detail and Benefit Amendment

BT090	Lumax 340 VR-T	ICD-VR 34 J with bidirectional Home Monitoring. 	One size only	Detail and Benefit Amendment

Single chamber

BT091	Lumax 300 DR-T	ICD-DR with bidirectional Home Monitoring	One size only	Detail and Benefit Amendment

BT092	Linox TD	Fractal and steroid coated passive fixation 	65, 74 or 100cm length and 16 or 18mm electrode 	Benefit Amendment

quadripolar ICD lead	spacing

BT093	Linox T	Passive fix RV bipolar fractal coated steroid ICD lead	65, 75cm length	Benefit Amendment

BT095	Corox OTW BP	Coronary Sinus bipolar steroid	77, 87 cm length	Benefit Amendment

BT096	Linox S	Active fix RV bipolar fractal coated steroid IC lead	65, 75cm length	Benefit Amendment

BT097	Dextrus (marketed by Boston Scientific)	Bipolar, silicone, active fixation, steroid eluting, 	7Fr, with 45cm, 53cm and 60cm length options	Benefit Amendment

pacing lead

BT098	Lumax 340 VR-T XL	ICD-VR with 40 J output, bidirectional Home 	One Size Only	Detail and Benefit Amendment

Monitoring and High Longevity

BT100	LUMAX 540 VR-T	High Energy, Single-Chamber ICD (Implantable 	Diamensions: 66*55*13 mm Volume/Weight : 	Detail and Benefit Amendment

Cardiac Defibrillator) with Advanced Patient 	37.2cc/92g

Management Via unique Home Monitoring

Technology incorporatin Automatic Threshold

Monitoring and Extended Longevity.

BT101	Lumax 540 DR-T	High Energy, Dual-Chamber ICD (Implantable 	Diamensions: 66*55*13mm, Volume/Weight: 	Detail and Benefit Amendment

Cardiac Defibrillator) with Advanced Patient 	37.2cc/92g

Management Via unique Home Monitoring

Technology incorporating Automatic Ventricular

BT102	Lumax 540 HF-T	High Energy, Three Chamber ICD (Implantable 	Diamensions: 66*59*13 mm, Volume/Weight: 	Detail and Benefit Amendment

Cardiac Defibrillator) with Advanced Patient 	39.8cc/94g

Management Via unique Home Monitoring

Technology incorporating Automatic RV/LV

Threshold Monitoring and Extended Longevity.

BT104	Cylos 990 DR	Dual-chamber pacemaker with Closed Loop 	57* 43* 6mm/28g	Benefit Amendment

Stimulation (CLS)

Changed Items for Prostheses List Report	Page 23 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BT105	Cylos 990 DR-T	Dual-chamber pacemaker with Closed Loop 	57*43*6mm/28g	Benefit Amendment

Stimulation (CLS) and Biotronik Home Monitoring

Technology

BT106	Cylos 990 SR	Single-chamber pacemaker with Closed Loop 	57 x 39 x 6mm / 27g	Benefit Amendment

Stimulation (CLS)

BT107	PRO-Kinetic Energy	The PRO-Kinetic Energey stent is a tubular, balloon-	The PRO-Kinetic Energy stent is available in 66 	Benefit Amendment

expandable stent sculpted by laser from a single tube 	different diameter/length combinations.  It is available

of L-605 cobalt chromium (CoCr) alloy.  The stent 	 in lengths from 8mm to 40mm.  It is premounted on

consists of circular segments at each end followed by 	a delivery system which has nominal balloon

a transition zone and helicoidally arranged struts in 	diameters between 2.0mm and 5.0mm.

the middle.  Each loop of the helix is connected to the

next loop by 3 longitudinal struts.  The stent surface

is fully coated with a layer of amorphous hydrogen-

rich silicon carbide (aSiC:H).  This material has

semiconducting properties that efficiently prevent

the electron transfer from fibrinogen to the metal

surface in vitro.  Thereby the conversion from

fibrinogen to fibrin and it's depoisition at the stent

surface is reduced.  Additionally, aSiC:H - coated

stents exhibit a lower adhesion and activation of

blood platelets and leucocytes.  Finally, the release of

potentially allergenic ions from a silicon carbide

coated stent is substantially reduced in comparison to

an uncoated metal stent3.  This coating is used on all

Biotronik coronary stents producedso far and was

subject to extensive clinical testing.

Vascular CAG

BT072	Astron	Peripheral self expanding nitinol, coated stent	Dia: 6 - 12mm, Len: 30 - 100mm	Detail and Benefit Amendment

BT094	Dynamic	PTA Balloon Expandable Stent	5-10mm diameter / 15, 25, 38, 56mm lengths	Detail and Benefit Amendment

BT099	PRO-Kinetic Explorer	Rapid Exchange, Balloon expandable cobalt chromium	Diameter:  2.0mm - 5.0mm; Length:  10mm - 40mm	Detail and Benefit Amendment

(L-605) peripheral stent - passive coating - 0.014" /

BT103	ASTRON PULSAR	The Astron Pulsar is a nitinol self expanding stent, 	4-12.0mm by 20-200mm	Detail and Benefit Amendment

used to treat peripheral vessel disease. Is 4Fr

compatible and a rapid exhange delivery system

BMDi Tuta Healthcare Pty Ltd

Vascular CAG

TT001	Paragon Ambulatory Drug Infusion System	The top of the Paragon infuser is made of acetyl with	Infuser - 100mL Administration Sets - 0.50mL, 1mL, 	Detail and Benefit Amendment

stainless steel parts; the bottom is made of clear 	2mL, 4mL, 10mL, 50mL, 100mL, or 200mL/hr

polycarbonate. Diam: 10cm Height: 5.8cm.

Administration Sets - made from PVC and acrylic

components.

TT003	Sidekick Ambulatory Disposable Delivery System	Spring infusor made from high impact plastics.  	Infuser - 50mL or 100mL, Administration Sets - 	Detail and Benefit Amendment

Administration Sets - made from PVC and acrylic 	50mL, 100mL or 200mL/hr

components.

Boston Scientific Australia Pty Ltd

Changed Items for Prostheses List Report	Page 24 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Cardio-thoracic

BS069	Liberte Coronary Stent System	Consists of a balloon expandable stent, pre-mounted 	Stent lengths: 8,12,16,20,24,28 & 32 mm Stent 	Detail and Benefit Amendment

on a Maverick 2 Monorail delivery catheter.	diameters: 2.25, 2.5, 2.75, 3.0, 3.5, 4.0, 4.5 & 5.0 mm

BS099	Taxus Liberte Paclitaxel-Eluting Coronary Stent 	316L Stainless Steel Stent with Translute Polymer 	2.0mm-5.0mm & 8.0mm-38mm	Benefit Amendment

and Paclitaxel

BS123	Insignia AVT 882	VDD Pacemaker	10.0cc, 23.5g	Benefit Amendment

BS124	Insignia AVT 1192	Single chamber pacemaker	10cc, 23.4g	Benefit Amendment

BS125	Promus Everolimus Coronary Stent System	Cobalt chromium alloy stent coated with a blended 	2.25mm to 4.0mm diameter, 8mm to 28mm length	Detail and Benefit Amendment

polymer mixed with Everolimus.

BS126	Insignia AVT 1292	Dual chamber pacemaker	10.8cc, 25.4g	Benefit Amendment

BS128	Confient RF HE	Dual chamber, high energy implantable cardioverter 	44cc, 87.5g	Detail and Benefit Amendment

defibrillator with wireless radio frequency capability

BS129	LIVIAN CRT-D	CRT-D (IS-1 and LV-1 connectors)	40cc, 79.5g, 14.5mm	Benefit Amendment

BS130	LIVIAN CRT-D HE	CRT_D RF High Energy (IS-1 and LV-1 connectors)	44cc, 87.5g, 14.5mm	Detail and Benefit Amendment

BS132	Teligen 100 HE VR 4-SITE	High energy single chamber ICD with 4-SITE inline 	30.5cc, 9.9mm	Detail and Benefit Amendment

RV connector (GDT-LLHH)

BS133	Acuity Spiral	Transvenous Left Ventricular pacing lead	80, 90 & 100cm	Benefit Amendment

BS134	TELIGEN 100 HE DR 4-SITE	High energy dual chamber ICD with 4 SITE (GDT-	31.55cc, 9.9mm	Detail and Benefit Amendment

LLH) inline RV connector

BS135	Teligen 100 DR DF-1/IS-1	High energy dual chamber ICD	31.5cc, 9.9mm	Detail and Benefit Amendment

BS136	TELIGEN 100 HE VR DF-1/IS-1	High energy single chamber ICD with DF-1/IS-1 	31.5cc, 9.9mm	Detail and Benefit Amendment

connector

BS138	COGNIS 100 HE 4-SITE	High Energy CRT-D with 4SITE (GDT-LLHH) 	32cc, 9.9mm	Detail and Benefit Amendment

inline RV connector

BS139	COGNIS 100 HE (DF-1/IS-1 & DF-1/LV-1)	High Energy CRT-D (DF-1/IS-1 & DF-1/LV-	32.5cc, 9.9mm	Detail and Benefit Amendment

1connectors)

BS144	Altrua 20 DR	Dual chamber pacemaker with rate response	10cc - 15cc	Benefit Amendment

BS145	Altrua 20 SR	Single chamber pacemaker	10cc - 15cc	Benefit Amendment

BS146	Altrua 40 DR	Dual Chamber pacemaker	10cc - 15cc	Benefit Amendment

BS147	Altrua 40 SR	Single Chamber pacemaker	10cc - 15cc	Benefit Amendment

BS148	Altrua 50 DR	Dual chamber pacemaker	10cc - 15cc	Benefit Amendment

BS149	Altrua 50 SR	Single chamber pacemaker	10cc - 15cc	Benefit Amendment

BS150	Altrua 50 VDD	VDD Pacemaker	10cc - 15cc	Benefit Amendment

BS151	Altrua 60 DR	Dual Chamber pacemaker	10cc - 15cc	Benefit Amendment

BS152	Altrua 60 SR	Single Chamber pacemaker	10cc - 15cc	Benefit Amendment

General Miscellaneous

BS047	Ultraflex Tracheobronchial Stent	Nitinol, self expanding stent	Diameters up to 25mm & lengths up to 80mm	Detail Amendment

BS051	Wallstent Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & lengths up to 100mm	Detail Amendment

Changed Items for Prostheses List Report	Page 25 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BS052	Wallstent Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & lengths up to 100mm	Detail Amendment

BS053	Wallstent Enteral Stent	Monofilament wire, self-expanding stent	Diameters up to 30mm & lengths up to 150mm	Detail Amendment

BS070	Wallstent RX Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & lengths up to 100mm	Detail Amendment

BS082	Resolution Clip Device	Pre-loaded endoscopically applied clip, radiopaque 	7Fr, 11mm jaw opening	Detail Amendment

stainless steel & cobalt chrome.

BS090	WallFlex Enteral Stent (Duodenal/Colonic)	Nitinol, self expanding stent	Diameters up to 30mm & lengths up to 150mm	Detail Amendment

BS101	Polyflex Airway Stent	Polyester braided material encapsulated with silicone,	Diameters up to 25mm & lengths up to 80mm	Detail Amendment

self expanding stent

BS103	Dynamic (Y) Stent	Bifurcated Tracheobronchial stent. Bronchial Limbs 	Diameters up to 25mm & lengths up to 120mm	Detail Amendment

made of silicone and tracheal stem made of silicone

with embedded stainless steel c-shape rings.

BS117	WallFlex RX Biliary Stent	Platinol, self-expanding stent	Diameters up to 10mm & lengths up to 100mm	Detail Amendment

BS141	EndoVive Initial Feeding Tube	Silicone enteral feeding tube	Up to 24 Fr	Benefit Amendment

BS142	EndoVive Replacement Feeding Tube	Silicone enteral feeding tube	Up to 28 Fr	Detail Amendment

Urogenital

BS078	Advantage Transvaginal Mid-Urethral Sling System	Polypropylene mesh sling	One size only	Detail Amendment

BS091	Percuflex; Percuflex Plus; Percuflex Tail; Percuflex 	Ureteral stent with attached suture	Diameters up to 14Fr & lengths up to 40cm	Detail Amendment

Tail Plus Ureteral Stents; Ureteral Stent System Kit

BS096	Lynx Suprapubic Mid-Urethral Sling System	Polypropylene mesh Sling	One size only	Detail Amendment

BS097	Obtryx Transoburator Mid-Urethral Sling System	Polypropylene mesh sling	One size only	Detail Amendment

BS127	Polyform Synthetic Mesh	Synthetic Polypropylene mesh	Width Up to 15cm & lengths up to 20cm	Detail Amendment

BS131	Pinnacle PFR Kit	Synthetic Polypropylene mesh assembly and fixation	One configuration	Detail Amendment

device

BS140	Advantage Fit Transvaginal Mid-Urethral Sling System	Polypropylene mesh sling	One size only	Detail Amendment

Vascular CAG

BS026	Braided Occlusion Device (BOD) Fibered Platinum 	Fibered Platinum Coil, Pushable	Coils 2-30mm x3-60mm	Detail and Benefit Amendment

Coil

BS028	GDC and PVA Delivery Catheters	Microcatheter Delivery Systems	150-175cm/3-25cm	Detail and Benefit Amendment

BS031	PVA/Contour SE for embolization and delivery system	Polyvinyl alcohol foam and Microcatheter for delivery	45-150 micron, 150-250 micron, 250-355 micron, 	Detail and Benefit Amendment

355-500 micron, 500-710 micron, 710-1000 micron,

1000-1180 micron, 150-175cm/3-25cm

BS034	PVA Particles (contour embolisation, Contour SE	Polyvinyl alcohol foam, Hydrophilic Spherical Shape	45-150 micron, 150-250 micron, 250-355 micron, 	Detail and Benefit Amendment

355-500 micron, 500-710 micron, 710-1000 micron,

1000-1180 micron; 1ml, 2ml

BS035	Expandable Endovascular Wallstent	Wallstent - Self-expanding stent, cylindrical braided 	Stent Diameter x Stent Length: 6-16mm x 18-70mm	Detail and Benefit Amendment

structure with core of either tantalum or platinum

BS056	Carotid Wall Stent	Elgiloy (cobalt chromium), Flexible low profile and 	Fully open diameter 6.0 - 10.0mm, Fully open length 	Detail and Benefit Amendment

self expanding stent	22 - 37mm

BS059	Express Vascular LD Stent; Express Vascular SD 	Stainless Steel, Balloon Expanding Stent	Diameter 4mm - 10mm, Length 14mm - 60mm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 26 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

BS065	Vaxcel Implantable Vascular Access System	Polyurethane Catheter Material with dual lumens and	16 French catheter tapering to a 14 French, lengths 	Detail Amendment

a staggered distal tip; polyester cuff which provides 	19, 23, 28cm

catheter security and tissue growth; clear extension

tubes with clamps

BS077	Sentinol Nitinol Vascular Stent System	Nitinol Stent with Uniflex Delivery System	Diameter: 5 to 10mm. Length: 20 to 120mm	Detail and Benefit Amendment

BS085	Filterwire EZ	Embolic Protection Device	3.5mm - 5.5mm on 190cm delivery system. 3.5mm - 	Detail and Benefit Amendment

5.5mm on 300cm delivery systen.

BS087	Vaxcel PASV PICC	Single lumen catheters	3, 4, 5 & 6 Fr	Detail Amendment

BS088	Vaxcel PASV PICC	Dual lumen catheters	3, 4, 5 & 6Fr	Detail Amendment

BS137	EPIC Nitinol Stent	Implantable endoprosthesis nitinol stent system with	5.0mm - 14.0mm by 20mm - 120mm	Detail and Benefit Amendment

delivery system

BR & CT Enterprises Pty Ltd

Ear, Nose & Throat

BC010	Ventilation tube	Ventilation tube - Silicone - T-tube, T-tube grommet	1.1mm; 1.27mm lumen	Detail Amendment

BC011	Ventilation Tubes - Collar Button	Teflon, w/o wire	1.10mm, 1.25mm, 1.50mm lumen	Detail Amendment

BC012	Ventilation Tubes - Collar Button	Teflon w/wire, and titanium w/o wire	0.76mm, 1.00mm, 1.25mm, 1.50mm lumen	Detail Amendment

BC013	Ventilation Tubes - Collar Button	Titanium w wire	1.00mm, 1.25mm, 1.50mm lumen	Detail Amendment

BC014	Ventilation Tubes - Shepherd	Teflon, w or w/o wire	1.15mm lumen	Detail Amendment

BC015	Ventilation Tubes - Shepherd	Titanium, w/o wire	1.00mm, 1.25mm lumen	Detail Amendment

BC016	Ventilation Tubes - Shepherd	Titanium with wire	1.00mm, 1.25mm lumen	Detail Amendment

BC017	Ventilation Tubes - Silicone	Armstrong Grommet, Donaldson w & w/o Tab, 	1.1mm & 1.5mm lumen	Detail Amendment

Paparella 1 and Paparella 2 (1.5mm)

C. R. Kennedy

General Miscellaneous

CK001	Microline Pentax Disposable 10ml Titanium K2 Clip 	Disposable cartridge containing 19 surgical grade 	medium/large clip	Detail and Benefit Amendment

Cartridge	titanium clips delivered using a re-usable hand piece

applier

CK002	Microline Pentax Disposable 10ml Titanium K2 clip 	Disposable cartridge containing 10 surgical grade 	Medium/Large Clip	Detail and Benefit Amendment

Cartridge	titanium clips delivered using a reusable hand piece

applier.

CK003	Endox Visu-Loc Clip Applier	Single-use laparoscopic clip applier	Medium, Large	Detail and Benefit Amendment

Carl Zeiss Pty Ltd

Ophthalmic

CZ010	XL Stabi ZO, Invent ZO	Hydrophilic Acrylic, Foldable, PC, Single Piece, 	6.0mm Optic x 10.5mm Overall Diameter	Detail Amendment

Square Edge Design, UV Blocker, Tri-haptic, Quad

Haptic, Aspheric Optic

CZ011	XL Stabi ZO Sky, Invent ZO Sky	Hydrophilic Acrylic, Foldable, PC, Single Piece, 	6.0mm Optic X 10.5mm Overall Diameter	Detail Amendment

Square Edge Design, UV Blocker, Trihaptic, Quad

Haptic, Aspheric Optic, Pre-Loaded

Changed Items for Prostheses List Report	Page 27 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

CZ014	ZEISS - Acri.Lisa 466TD	Foldable aspheric single-piece intraocular lens with an	Overall length 11.0mm Optic size 6.0mm	Detail Amendment

aspheric toric front and an aspheric bifocal back

surface, asymmetric light distribution 65 percent

distance and 35 percent near, with 3.75D addition in

the near focus.

CZ015	ZEISS - Acri.Lisa 366D	Foldable aspheric single-piece intraocular lens with an	Overall length 11.0mm Optic size 6.0mm	Detail Amendment

aspheric front and an aspheric bifocal back surface,

asymmetric light distribution 65 percent distacne and

35 percent near, with 3.75D addtiion in the near

CMS Alphatech Pty Ltd

General Miscellaneous

CL001	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed radioactive sources 	Advantage I-125 seeds are  0.8 mm in diameter and 	Detail Amendment

containing Iodine-125. They are intended to 	4.5 mm in length

interstitial brachytherapy.

Advantage I-125 Pre-load consists of Advantage I-

125 seeds pre-loaded as linked or 'stra

Cochlear Limited

Ear, Nose & Throat

CO013	Nucleus 24k Cochlear Implant	 Model CI24R (ST) coclear implant.  A Nucleus 3 	One size only	Detail Amendment

system cochlear implant with straight electrode array

CO014	Nucleus 24 Contour Advance Cochlear Implant	Model CI24R (CA) coclear implant. A Nucleus 3 	One size only	Detail Amendment

system cochlear implant with the Contour Advance

electrode array

CO019	ESPrit 3G Speech Processor - Replacement	Speech processor, Generation 3	Cable lengths: 6, 8, 10, 20, 28cm	Detail Amendment

CO020	Nucleus Cochlear Implant Accessory Kit - ESPrit 3G	Accessory set consists of accessory adapter cable, 	Lapel microphone comes in lengths of 40-150cm	Detail Amendment

Speech Processor	lapel microphone & lapel clip, battery cover set and

accessory case

CO021	Nucleus Freedom Implant with Contour Advance 	Model C124RE (CA), Generation 4 Cochlear implant	one size only	Detail Amendment

Electrode	 with perimodiolar electrode array.  Titanium casing,

removable magnet, 22 half-banded platinum

electrodes, moulded in a durable silicone seal

CO022	Nucleus Freedom Speech Processor - Initial	Speech processor (modular) and accessories	One size only	Detail Amendment

CO023	Nucleus Freedom Speech Processor	Speech processor, and accessories - 	one size only	Detail Amendment

CO024	Nucleus Freedom Implant with Straight Electrode	Speech processor and accessories - Initial	One size only	Detail Amendment

CO025	Baha Abutment Snap Coupling	Titanium abutment delivered with a gold screw and 	5.5mm - 9035, 8.5mm - 90410	Detail Amendment

holder, individually packaged and sterile.  The 5/5mm

is for standard use and the 8.5mm for patients that

have persistent regrowth of subcutaneous tissue

CO028	BAHA - Cover screw unigrip	Titanium coverscrews, individually packaged and 	One size only	Detail Amendment

delivered sterile.  The cover screws are used to

prevent bone overgrowth of the implant.

Changed Items for Prostheses List Report	Page 28 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

CO030	Self tapping fixture with pre-mounted fixture mount	Self tapping titanium flange fixture premounted with 	Self Tapping 4mm and 3mm	Detail Amendment

a disposable fixture mount.  Available in two sizes:

3mm and 4mm.  Used in two stage surgical

CO032	Flange fixture - self tapping fixture with pre-mounted	Self tapping titanium flange fixture with abutment in 	Self Tapping 4mm and 3mm with BAHA Abutment	Detail Amendment

abutment	two sizes:  3mm and 4mm

CO033	Baha Cordelle II sound processor	A powerful sound processor for the Baha hearing 	One Size	Detail Amendment

system with a bodyworn unit and a head worn

transducer.  Available in three colours. Body worn

sound processor for the Baha hearing system.

CO040	Baha Divino sound processor	Head worn digital sound processor for the Baha 	One Size	Detail and Benefit Amendment

hearing system.  Available in four colours and left and

right side orientations.

CO041	Baha Intenso sound processor	Head worn digital sound processor for the Baha 	One size	Detail and Benefit Amendment

hearing system.  Available in four colours.

CO043	Nucleus Hybrid L 24 Implant	A Nucleus Freedom cochlear implant featuring a 	One size	Detail Amendment

special 16mm, 22 contact point electrode array

CO044	Freedom Hybrid Sound Processor (Initial)	The modular sound processor of the Cochlear Hybrid	One size	Detail Amendment

system provides dual electrical and acoustic

processing within a single device. Acoustic

amplication is delivered through the acoustic

component and electrical stimuation via the Nucleus

CO045	Freedom Hybrid Sound Processor (Replacement)	The modular sound processor of the Cochlear Hybrid	One size	Detail Amendment

system provides dual electronic and acoustic

processing within a single device. Acoustic

amplication is delivered through the acoustic

component and electrical stimulation is delivered via

the Nucleus Hybrid L24 implant.

ConceptVision Australia Pty Ltd

Ophthalmic

CS008	Preloaded Aspheric Intraocular Lens	Silicone intraocular lens	6.0mm	Detail Amendment

ConMed Linvatec Australia Pty Ltd

General Miscellaneous

LV094	Niti-S Pyloric Stent D-type	Niti-S Pyloric self-expanding metal stent D-type 	Diameter:  16 - 18mm Length: 40 - 120mm	Detail Amendment

made from Nitinol in D mesh construction,

uncovered, OTW or TTS

LV095	Niti-S Biliary Stent D-Type	Niti-S Biliary Stent D-Type Uncovered.  Deployed 	10mm Diameter x 50 - 120mm length	Detail Amendment

via stent delivery system for use TTS or

LV096	Niti-S Biliary Stent Y-Type and T-Type	Niti-S Biliary is a self expanding metal stent, made 	10mm Diameter x 5 - 10cm Length	Detail Amendment

from Nitinol uncovered.  Stent Y-Type for TTS

approach, T-Type for percutaneous approach.

LV097	Niti-S Biliary Covered Stent	Niti-S Biliary self expanding nitinol stent fully 	Diameter 8mm and 10mm Stent lengths 40-120mm	Detail and Benefit Amendment

covered with a silicone membrane and a nylon

drawstring for removal. Stent delivery system is

designed for use TTS for endoscopic or percutaneous

Changed Items for Prostheses List Report	Page 29 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LV099	Niti-S Oesophageal Fully Covered Stent	Niti-S Oesophageal fully covered self expanding 	Diameter16mm x 24mm, 18mm x 26mm, 20mm x 	Detail and Benefit Amendment

nitinol stent with a covering of PTFE or silicone and 	28mm and 22mm x 30mmLength60-150mm

nylon drawstring for removal or repositioning.

LV104	Niti-S Tracheal Stent	Tracheal Nitinol Self Expanding Metal Stent, ePTFE 	16mm to 20mm diameter x 3cm to 10cm length	Detail and Benefit Amendment

covered with retrieval suture

LV105	Niti-S Bronchial Stent	Bronchial Nitinol Self Expanding Metal Stent, 	10mm to 14mm diameter x 3cm to 6cm length	Detail and Benefit Amendment

Expanded Poly Tetra Fluoro Ethylene (ePTFE)

covered, with retrieval suture

LV106	Niti-S ComVi Biliary Stent (Fully Covered)	The Niti-S ComVi Biliary Stent (Fully Covered) is 	8mm to 10mm diameter x 4cm to 12cm length	Detail and Benefit Amendment

comprised of 2 Nitinol D-type stents with a layer of

polytetraethylene (PTFE) between that fully

envelopes the proximal and distal ends of the stent,

resulting in an integrated structure designed to

Specialist Orthopaedic

LV001	Linvatec Super Revo Soft Tissue Anchor	Contains screw, driver and sutures	.	Detail Amendment

LV003	Ultrafix RC, Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	Detail Amendment

LV005	Ultrafix MiniMite StitchPak Suture Anchor	Soft Tissue Re-attachment - Stainless Steel	2.3mm predeployed diameter	Detail Amendment

LV006	Ultrafix RC StitchPak Suture Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	Detail Amendment

LV008	Preloaded Bio-Anchor Absorbable Suture Anchor	Soft Tissue Re-attachment - PLLA	3.5mm diameter	Detail Amendment

LV009	Revo Cancellous Screw	Soft Tissue Re-attachment - Titanium	4mm diameter	Detail Amendment

LV010	Mini-Revo Screw	Soft Tissue Re-attachment - Titanium	2.7mm diameter	Detail Amendment

LV011	Soft Tissue Anchoring Implant - Spiked Washer	Soft Tissue Re-attachment - Titanium	1.3 x 14mm -  2.5 x 20mm	Detail Amendment

LV012	Soft Tissue Anchoring Implant - Flat Washer	Soft Tissue Re-attachment - Titanium	14, 17mm	Detail Amendment

LV013	Soft Tissue Anchoring Implant - Cortical Screw	Soft Tissue Re-attachment - Titanium	30 -  80mm	Detail Amendment

LV014	Soft Tissue Anchoring Implant - Cancellous Screw	Soft Tissue Re-attachment - Titanium	25 -  65mm	Detail Amendment

LV015	Staple Fixation System	Soft Tissue Re-attachment - Titanium	9.5 - 16.5mm	Detail Amendment

LV016	Propel Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 30mm	Detail Amendment

LV017	Guardsman Femoral Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 30mm	Detail Amendment

LV018	Cannulated Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 40mm	Detail Amendment

LV019	BioScrew Bioabsorbable Interference Screw	ACL Fixation - PLLA	Diameter 7.0 - 9.0mm, Length 20 - 30mm	Detail Amendment

LV021	BioStinger - V Bio - Absorbable Meniscal Repair 	Meniscal Repair Device - PLLA	10mm - 16mm	Detail Amendment

Device

LV022	EndoPearl Bio-Absorbable Implant - ACL Fixation	ACL Fixation - PLLA	7mm - 9mm	Detail Amendment

LV024	Ultrafix MicroMite Small Joint Anchor	Suture Anchoring Device - Titanium	1.5mm predeployed diameter	Detail Amendment

LV025	Staplizer Bone Staple Cartridge	5 Titanium staples per cartridge	7 x 7mm, 7 x 10mm, 10 x 7mm, 10 x 10mm, 10 x 	Detail Amendment

15mm, 13 x 7mm, 13 x 10mm, 13 x 15mm, 13 x

20mm, 16 x 10mm, 16 x 15mm, 16 x 20mm, 16 x 25mm

LV027	Pre-Loaded Ultrafix RC Anchor	Surgical Grade Stainless Steel, preloaded with 2 #2 	Dia 2.9mm, length 6.5mm	Detail Amendment

sutures

Changed Items for Prostheses List Report	Page 30 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LV028	Pre-loaded BioStinger Bio-Absorbable Meniscal 	Violet, PLLA	10, 13, 16mm	Detail Amendment

Repair Implant

LV050	Bionx Implants - Rods 	PGA, PLA or PLLA	1.5mm x 10-70mm	Detail Amendment

LV051	Bionx Implants - Rods 	PGA, PLA or PLLA	2.0mm	Detail Amendment

LV052	Bionx Implants - Rods 	PGA, PLA or PLLA	3.2mm x 30-70mm	Detail Amendment

LV055	Bionx Implants - Screws	PLA Full Thread 	3.5mm	Detail Amendment

LV056	Bionx Implants - Screws	PLA Full Thread 	4.5mm	Detail Amendment

LV057	Bionx Implants - Screws	PLA Cannulated	4.5mm	Detail Amendment

LV058	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 10-28mm	Detail Amendment

LV059	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 30-45mm	Detail Amendment

LV060	Bionx Implants - Screws	PLLA Lag Screw 	4.5mm x 25-70mm	Detail Amendment

LV061	Bionx Implants - Screws	PLLA Lag Screw 	6.3mm Diameter	Detail Amendment

LV062	Bionx Implants - screws	ACL PDLA Screws & Wedges	Dia 5mm, 7mm, 8mm, 9mm	Detail Amendment

LV063	SmartNail	Self-Reinforced 96L/4D PLA Bone Fixation Nail	1.5mm O.D x 16, 20 & 25mm L	Detail Amendment

LV065	Bionx Implants - screws	PLLA Screws (Contour Labral Nail)	3.5mm	Detail Amendment

LV066	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 6 - 10mm	Detail Amendment

LV067	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 12 - 20mm; Dia 2.7mm, length 6 -	Detail Amendment

24mm

LV071	Contour Meniscus Arrow	80L/20D, LPLA & PLLA	1.1mm x 10, 13,16mm	Detail Amendment

LV072	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 1	1.1mm x 10, 13,16mm	Detail Amendment

LV074	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 3	1.1mm x 10, 13,16mm	Detail Amendment

LV075	BioCuff C Screw	Self-Reinforced 96L/4D PLA Screw	6.0mm O.D x 28, 32 & 36mm L	Detail Amendment

LV077	BioScrew XtraLok Tibial Fixation Device	PLLA	Diameter 8, 9, 10, 11mm; Length 35 & 40mm	Detail Amendment

LV078	UltraFix Knotless Minimite Suture Anchor	Titanium	Diameter 2.3mm	Detail Amendment

LV084	SmartNail	Self-reinforced 96L / 4D PLA Bone Fixation Nail	2.4mm O.D x 16, 25, 35 & 45mm L	Detail Amendment

LV088	SmartPin Resorbable Bone Fixation Pin, 1.1mm	Self-Reinforced PLLA	10, 20, 30 & 40mm	Detail Amendment

LV089	Duet Suture Anchor with polyester suture	Self-Reinforced 96L/4D PLA Copolymer Anchor	6.0mm O.D. x 16.5mm L	Detail Amendment

LV090	Super Revo Suture Anchor with Hi-Fi Suture	Titanium Suture Anchor	5.0mm O.D x 14.2mm L	Detail Amendment

LV091	ThRevo Suture Anchor	Titanium screw-in suture anchor	5.0mm OD x 14.2mm L	Detail Amendment

LV092	Duet Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	Detail Amendment

LV093	Impact Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	3.5mm O.D. x 10.5mm L	Detail Amendment

LV103	Matryx Interference Screw	Matryx (SR-96L/4D PLA with ß-TCP) Inteference 	7.3 x 20mm; 7.3 x 25mm; 7.3 x 30mm; 8 x 20mm; 8 x 	Detail Amendment

Screw	25mm; 8 x 30mm; 9 x 20mm; 9 x 25mm; 9 x 30mm; 9

x 38mm; 10 x 25mm; 10 x 33mm; 10 x 38mm; 11 x

25mm; 11 x 33mm; 11 x 38mm

LV107	Pinn-ACL CrossPin System	Bioabsorbable, transverse femoral fixation device of 	40mm/45mm/50mm Self-Reinforcved PLLA 	Detail Amendment

soft tissue grafts in ACL and PCL repairs.	Crosspin, 8mm/9mm PLLA Graft Harness

Changed Items for Prostheses List Report	Page 31 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LV108	Bio Mini-Revo Suture Anchor	Bioabsorbable Suture Anchor with Two #2 Hi-Fi 	3.1mm O.D	Detail Amendment

Sutures

LV109	XO Button with Continuous Loop	Titanium suspensor, fixation device for femoral 	4.5mm x 13.5mm with Continuous Loop lengths 15-	Detail Amendment

fixation in ACT and PCL repairs	60mm

LV110	SmartScrew 2	Self Reinforced 96L/4D Copolymer	length 10-70mm, diameter 2 to 4.5mm, shape 	Detail Amendment

fully/partial threaded, cannulated/non-cannulated

LV111	Presto PEEK Suture Anchor	PEEK Optima Suture Anchor, pre-threaded with one 	2.9mm O.D x 11mm L	Detail Amendment

or two sutures

Corin Australia Pty Ltd

Orthopaedic

CR057	Uniglide Uni Knee System Uni Tibial Component 	Uni tibial component, CoCr, uncemented, Titanium 	1-8	Detail Amendment

plasma spray, with calcium phosphate  (HA)

ingrowth surface with TiNi insert surface coating for

mobile insert

CR058	Uniglide Uni Knee System Uni Femoral Component	Uni femoral component, CoCr, uncemented, 	1-4	Detail Amendment

Titanium plasma spray, with calcium phosphate

(HA) ingrowth surface with TiNi articular surface

CR059	Uniglide Uni Knee System Uni Femoral Component	Uni Femoral Component, CoCr, cemented, with TiNi	1-4	Detail Amendment

surface  coating

CR061	Uniglide Uni Knee System Uni Tibial Component 	Uni tibial component, CoCr, with TiNi insert surface 	Sizes 1 - 8 inclusive	Detail Amendment

coating for mobile insert

CR101	Modular Neck for Acor & Integrale Femoral Stems	Titanium neck, with varying alignments & tapers	4 sizes	Detail Amendment

CR114	Extreme Hip System Extended Neck	Femoral neck with extension for locking screw for stem	4 sizes	Detail Amendment

Specialist Orthopaedic

CR031	LARS Interference Screw	Titanium Interference screw	5.2 - 10mm diameter, 15 - 30mm	Detail Amendment

CR032	Lars Ligamanet Augmentation reconstruction system	Woven polyester prosthetic ligaments	60,80,100 & y shaped fibres	Detail Amendment

CR070	Alpha Lock Titanium Counter Sunk Screw	Titanium Counter Sunk Screw	Length (mm) 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65	Detail Amendment

& 70

CR118	LARS Ligament Staple	CoCr synthetic ligament anchor	6mm, 8mm or 10mm x 20mm	Detail Amendment

Darco Australia

Specialist Orthopaedic

DC019	Mini Staple	For fixation of osteotomies of first phalanx (e.g. 	0° and 63°, 8-10mm x 10mm	Detail Amendment

Akin), 1mm diameter, straight & angled design

DC030	Hot-Staples	Manufactured from Nitinol. Once implanted, staple 	11 - 25mm	Detail Amendment

is heated using a thermo-cautery system causing the

staple shape to reduce and compress, providing

efficient and continued interfragmental compression.

Denward Dell Pty Ltd TA Surimex

Cardio-thoracic

Changed Items for Prostheses List Report	Page 32 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DW001	Nit-Occlud PDA Occlusion System	Nitinol spiral coil and delivery system for 	Distal x Proximal Coil Diameter: 4x4mm, 5x4mm, 	Benefit Amendment

transcatheter occlusion of PDA	6x5mm, 10x6mm, 12x6mm, 14x6mm; Introducer

Sheath: 4F, 5F; Length Introducer: 85cm, 105cm; Coil

Length configurated +-0.5mm: 3.5mm, 6.0mm,

DW002	Nit-Occlud PDA Occlusion System (Medium)	Nitinol spiral coil and delivery system for 	Distal x Proximal Coil Diameter: 7 x 6mm, 9 x 6mm, 	Benefit Amendment

transcatheter occlusion of PDA	11 x 6mm, 12 x 6mm, 14 x 6mm; Introducer Sheath:

5F; Length Introducer: 85cm, 105cm; Coil Length

configurated +-0.5mm: 4.5; 5.0; 6.0

Vascular CAG

DW003	Jet Port Plus Set - Vascular Access Port	Implantable injection / infusion port system:  port 	Port:  Diameter: 28.0mm, Height: 12.3mm; Catheter:  	Detail and Benefit Amendment

chamber with silicone membrane; connectable 	6.6 French, Length: 750mm

polyurethane catheter; and introducer kit.

DW004	Jet Port Plus Low Profile Peripheral Set - Vascular 	Implantable injection / infusion port system:  low 	Port:  Length: 24.0mm, Width: 20.5mm, Height: 	Detail and Benefit Amendment

Access Port	profile port chamber with silicone membrane; 	10.3mm  Catheter: 6.6 French, Length: 750mm

connectable polyurethane catheter; and introducer kit

DW005	Dual Port Set - Vascular Access Port	Implantable injection / infusion port system:  dual 	Port:  Length: 53.0mm, Width:  20.0mm, Height:  	Detail and Benefit Amendment

port chamber with silicone membranes; connectable 	13.5mm (chamber 1), 15.5mm (chamber 2); Catheter:

double lumen polyurethane catheter; and introducer 	 Length:  500mm, internal diameter double D, external

diameter 3mm

DW006	T-Port Contrast set - Vascular access port.	Injection infusion port system: titanium port 	6163653077:  Port Base 27mm x 13mm, Catheter 	Detail and Benefit Amendment

chamber with silicone membrane: connectable 	Diameter 1.3 x 2.2mm, Catheter Length 75cm.

polyurethane catheter; introducer kit.	6163652087: Port Base 27mm x 13mm, Catheter

Diameter 1.6 x 2.6mm, Catheter Length 75cm.

6163663077: Port Base 23mm x 10mm, Catheter

Diameter 1.3 x 2.2mm, Catheter Length

75cm.6163662087: Port Base 23mm x 10mm,

Catheter Diameter 1.6 x 2.6mm, Catheter Length

75cm.

Design for Vision Pty Ltd

Ophthalmic

DV237	Rayner "M-Flex" Mulitfocal Foldable IOL	Acrylic, Foldable, Single piece multi-zoned refractive 	6.5mm Optic-Overall diameter 12.5mm: +3D or + 4D	Detail Amendment

aspheric multifocal with Amon-Apple 360 Degree 	 Addition: +14D to +25D in 1.0D increments: +8.5D

Square edge, Anti Vaulting Haptics	to +23.5D in 0.5D increments

Device Technologies Australia Pty Ltd

General Miscellaneous

DE259	AERO Tracheobronchial Stent System	Radiopaque self-expanding nitinol stent and delivery 	Diameter 10-18mm, length 20-80mm	Detail Amendment

system

Ophthalmic

DE260	ICU Akkomodative® IOL	ICU Akkomodative IOL- Acrylic lens Range 15-35 	Lens Dia =5.5mm Haptics Dia =9.8mm	Detail Amendment

Dioptres in 0.5 steps

Plastic and Reconstructive

DE030	Style 468 Biodimensional Saline-filled Mammary 	Silicone shell filled with saline	195 - 205 cm3 x 620 - 650 cm3	Detail Amendment

Implant

Changed Items for Prostheses List Report	Page 33 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DE033	Style 168 Biocell Textured Mammary Implant	Silicone shell filled with saline	120 - 150 cm3 x 510 - 540 cm3	Detail Amendment

DE100	McGhan Style 150 Biodimensional Biocell Textured 	Full height, Short Height, t	9.6 -16cm width x 8 - 17cm height x 4.2 - 7.1cm 	Detail Amendment

Expand Gel/Saline Filled Mammary Implant, Low 	projection

DE102	McGhan Style 110 & 120 Biocell Textured, 	Round: Moderate or high profile	90 - 650 grams	Detail Amendment

Intrasheild barrier Gel-Filled Mammary Implant

DE104	Allergan Style 40, 45, SSL, SSM, SSF, SSX Intrashiel	Round: low, medium, high & extra high profile	110 - 800 grams	Detail Amendment

Gel-Filled Round Mammary Implant

DE106	Allergan Type MLP, MHP, TRL, TRM, TRF, TRX	Low, Medium, High & Extra High profile, textured 	80 - 800 grams	Detail Amendment

Low, Medium, High & Extra High Profile Gel-Filled 	surface

Mammary Implant

DE109	Allergan styles CML, CMH, TSL, TSM, TSF, TSX	Silicone Cohesive Gel-Filled Breast Implant	80 - 800 grams	Detail Amendment

DE110	Allergan Type SLD, SHD, SRL, SRM, SRF, SRX 	Low, Medium, High or Extra High Profile	100 - 800 grams	Detail Amendment

Smooth Silicone Gel-filled Mammary Implant

DE120	McGhan Style 410 & 410 Soft Touch 	Full, moderate or low height, Extra Full, Full, 	125 - 775 grams	Detail Amendment

Biodimensional Biocell Textured Cohesive Gel-filled 	moderate or low projection

DE121	Mammary Prosthesis	Smooth Surface - Saline	120 to 510cc	Detail Amendment

DE274	Style 510 Dual Gel Breast Prosthesis	Anatomical textured implant with dual gel for 	LX sizes from 130-575 grams, MX sizes from 145-	Detail Amendment

projection of nipple/areola complex, concave base and	600 grams, FX sizes from 165-630 grams

tapered edges for minimisation of edge/thoracic wall

palpability.

Specialist Orthopaedic

DE055	Osteotomy Plates	Osteotomy, Tibial -  Stainless Steel	5mm - 17.5mm	Detail Amendment

DE059	Arthrex Meniscal Dart	PLA	10mm - 14mm	Detail Amendment

DE062	Ligament Staples	Cobalt Chromium Molybdenium Alloy	6mm - 16mm	Detail Amendment

DE068	Interference Screws	ARTHREX Non-sheathed	7 x 28mm - 12 x 28mm	Detail Amendment

DE069	Interference Screws	Bio-Cortical - PLA	8 x 17 - 11 x 17mm and 8 x 20 - 10 x 20mm	Detail Amendment

DE070	TransFix Implant Screw System - Arthrex	Titanium alloy	40mm & 50 mm	Detail Amendment

DE071	Arthrex Spiked Washer	Titanium alloy	14 - 15mm	Detail Amendment

DE072	Bio-Interference Screw	PLA	7mm - 9mm	Detail Amendment

DE077	Cancellous Bone Screws	Low Profile	4-6.5mm x 14-60mm	Detail Amendment

DE078	Osteotomy Plates	Osteotomy, Femoral - Stainless Steel	7.5mm - 17.5 mm	Detail Amendment

DE080	Tissue Button	PLA	6.5mm - 10mm	Detail Amendment

DE094	Osteotomy Plates	Anterior/posterior sloped.  Stainless steel	5 - 15mm length	Detail Amendment

DE096	Fixion IM nail - Humeral	Stainless steel	Dia 6.7 - 8.5mm (reduced), length 180 - 280mm	Detail Amendment

DE126	Chondral Dart	Polylactide Compositition	Length 18mm	Detail Amendment

DE127	Bio-Transfix	Composition Poly (L-lactide)	Diameter 5mm, length 50mm	Detail Amendment

DE128	Cortical Screw	Self locking screws, cancellous and cortical	3-6.5mm x 10-110mm	Detail Amendment

DE163	Bio-Post & Washers	PLLA composition	Implant 35mm - 50mm, Washers 16mm	Detail Amendment

DE166	Bio-Tenodesis Screw	Composition PLLA	Dia 5.5-9mm	Detail Amendment

Changed Items for Prostheses List Report	Page 34 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DE167	Bio-Interference Screw	Composition - PLLA, delta tapered	Dia6.5 - 10.5mm to 8 - 12mm x 28 - 35mm length	Detail Amendment

DE168	Univers 3D Shoulder Prostheses	Stem	6-12mm	Detail Amendment

DE169	Univers 3D Shoulder Prostheses	Glenoid Metal Back	Small, Medium, Large	Detail Amendment

DE170	Univers 3D Shoulder Prostheses	Glenoid PE-Inlay	Small, Medium, Large	Detail Amendment

DE171	Univers 3D Shoulder Prostheses	Metal Head	40/14 - 54/23	Detail Amendment

DE172	Univers 3D Shoulder Prostheses	Cemented glenoid	Small, Medium, Large	Detail Amendment

DE173	Univers Fracture Prostheses	Shaft	8-13mm	Detail Amendment

DE174	Univers Fracture Prostheses	Metal head	43/15 - 51/22	Detail Amendment

DE195	Corkscrew FT	Suture Anchor with Fiberwire	3.5mm - 6.5mm	Detail Amendment

DE196	Corkscrew Suture Anchor	Titanium alloy with Fibrewire suture	3.5mm - 6.5mm	Detail Amendment

DE197	Bio - Fastak	with Fibrewire suture	3mm x 11mm	Detail Amendment

DE198	Fastak Suture Anchor (Small Bone)	With Fibrewire Suture	Dia. 2.4mm x Length 7.5mm	Detail Amendment

DE214	Cortical Screw	Titanium	10-24mm x 2.3mm	Detail Amendment

DE215	Arthrex Osteotomy Plates	Metatarsal	2mm - 8mm	Detail Amendment

DE216	Arthrex Osteotomy Plates	Tibial, Composition Titanium	0-17.5mm	Detail Amendment

DE217	Arthrex Osteotomy Plates	Femoral, Titanium	5mm - 17.5mm	Detail Amendment

DE220	Suturetak Suture Anchor	Suture Anchor with Fiberwire	2.4 - 3.7mm diameter x 5 - 14mm length	Detail Amendment

DE224	Retro Screw	Composition PLLA	8-10mm x 20mm	Detail Amendment

DE225	Fastak Anchor	Titanium with fibrewire suture	2.8mm x 11.7mm	Detail Amendment

DE252	Tightrope Syndesmosis Repair Kit	Titanium or stainless steel, with non absorbable 	One size only	Detail Amendment

Fiberwire suture material

DE256	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Trunnion	41 - 53mm	Detail Amendment

DE257	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Head	41/16 - 53/20	Detail Amendment

DE258	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Cage Screw	Small - X-Large	Detail Amendment

DE261	Pushlock Suture Anchor	Knotless Suture Anchor	2.5 - 5.5 x 5 - 18.5mm	Detail Amendment

DE271	RetroButton	Femoral Fixation Device	12mm Button with 15-60mm loops, 15mm Button 	Detail and Benefit Amendment

with 15-60mm loops

DE272	Bio-Compression Screw System	Fixation Device	16mm, 18mm, 20mm, 22mm, 24mm, 26mm	Detail and Benefit Amendment

DE273	Trim-IT Spin Pin	Trim-IT  Pin Fixation	1.5 - 2.0mm x 100mm	Detail Amendment

DE285	Lapidus Plate	The Lapidus Plate is a fusion plate	One size only	Detail Amendment

DE286	Low Profile Screw System	Low Profile Screw	3.0 - 6.7mm x 18 - 120mm	Detail Amendment

DE287	Low Profile MTP Plate	Arthrodesis Plate	Contoured Left Short, Contoured Right Short, 	Detail Amendment

Contoured Left Long, Contoured Right Long

DE288	Swivelock	Twist- in knotless suture anchor	4.5mm and 5.5mm diameters	Detail Amendment

DE289	AnaToemic	AnaToemic Phalangial Prosthesis	17mm, 20mm, 21.5mm, 23mm	Detail Amendment

Changed Items for Prostheses List Report	Page 35 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DE290	H-Plates	Fixation plate for fusions and osteotomies	Plates, Flat - 38mm x 16mm, left,large, 38mm x 	Detail Amendment

16mm, right,large, 34mm x 16mm, left, medium,

34mm x 16mm, right, medium, 28mm x 16mm left,

small, 28mm x 16mm, right,small

Plates, Wedge - 38mm x 16mm, 10mm wedge, left,

38mm x 16mm, 10mm wedge, right,  36mm x 16mm,

8mm wedge, left, 36mm x 16mm, 8mm wedge, right,

34mm x 16mm, 8mm wedge, right

DE291	QuickFix Screw	Small Bone Fixation - Metal	2mm x 10mm, 2mm x 11mm,2mm x 12mm, 2mm x 	Detail Amendment

13mm, 2mm x 14mm, 3mm x 13mm x 3mm x 15mm,

3mm x 17mm, 3mm x 19mm

DE292	QuickFix Staple System	Compression Staple for Fusion	8mm 10mm	Detail Amendment

DE293	Prostop	Arthroereisis Subtalar implant	7x12mm 8x12mm 9x14mm 10x14mm 11x16mm 	Detail Amendment

12x16mm

DE295	Compression Staple	Compression staple for fusion	10x10mm 10x15mm 15x10mm 15x15mm 20x20mm	Detail Amendment

Vascular CAG

DE294	Bead Block	Plyvinyl Alcohol hydrogel microspheres in pre-	2ml- (100 - 300, 300 - 500, 500 - 700, 700 - 900, 900 	Detail and Benefit Amendment

loaded syringe	- 1200 microns

EMT Healthcare Pty Ltd

General Miscellaneous

EM008	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for 	20 x 20cm	Detail Amendment

intra-peritoneal visceral surgery

(Polypropylene/ePTFE or Polyester/Silicone)

EM009	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for 	15 x 15cm	Detail Amendment

intra-peritoneal visceral surgery

(Polypropylene/ePTFE or Polyester/Silicone)

EM010	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for 	30 x 30cm	Detail Amendment

intra-peritoneal visceral surgery

(Polypropylene/ePTFE or Polyester/Silicone)

EM018	Abdominal Wall Reinforcement Implant	Polyester combined with polymerised silicone	12cm x 14cm & 12cm x 16cm	Detail Amendment

EM019	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with Shape Mesh	EMT-KIT2BT2PMX (Bilateral)	Detail Amendment

EM020	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with  Shape Mesh	EMT-KIT2NM (Unilateral)	Detail Amendment

Endocorp Pty Ltd

Ear, Nose & Throat

EC018	Exmoor Plastics Ear Vent Drains -  Reuter Bobbin 	Without hole, teflon	1.14 mm lumen dia x 2.54 mm inner flange dia x 2.54 	Detail Amendment

mm outer flange dia x 0.76 inter flange. 1.52mm total

length

EC019	Exmoor Plastics Ear Vent Drains -  Collar Button	Teflon 	1.14 mm lumen dia x 2.24 mm inner flange dia x 2.24 	Detail Amendment

mm outer flange dia x 1.27 inter flange. 1.78 mm total

length

Changed Items for Prostheses List Report	Page 36 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

EC020	Exmoor Plastics Ear Vent Drains  -  Collar Button	Teflon 	1.14 mm lumen dia x 3.0 mm inner flange dia x 3.0 	Detail Amendment

mm outer flange dia x 1.27 inter flange. 1.78 mm total

length

EC021	Exmoor Plastics Ear Vent Drains  -  Collar Button	Teflon 	1.4 mm lumen dia x 2.55 mm inner flange dia x 2.55 	Detail Amendment

mm outer flange dia x 0.85 inter flange. 1.35 mm total

length

EC022	Exmoor Plastics Ear Vent Drains - Collar Button 	Teflon 	1.75 mm lumen dia x 2.85 mm inner flange dia x 2.85 	Detail Amendment

mm outer flange dia x 0.95 inter flange. 1.46 mm total

length

EC024	Exmoor Plastics Ear Vent Drains - Shepards Drain	Teflon Shephards Drain	1.14 mm lumen dia x 2.36 mm inner flange dia x 2.36 	Detail Amendment

mm outer flange dia x 1.42 inter flange. 2.41 mm total

length

EC026	Exmoor Plastics Ear Vent Drains - Teflon Shephards 	Teflon Shephards Drain with wire	0.97 mm lumen dia x 2.08 mm inner flange dia x 2.08 	Detail Amendment

Drain with wire grasping feature	mm outer flange dia x 1.42 inter flange. 2.41 mm total

length

EC031	Exmoor Plastics Ear Vent Drains - Donaldson 	With tab, silicone rubber	1.1 mm lumen dia x 2.25 mm inner flange dia x 2.25 	Detail Amendment

mm outer flange dia x 0.76 inter flange. 2.25 mm total

length

Endotec Australia Pty Ltd

Specialist Orthopaedic

EA001	Buechel-Pappas Ultracoat Total Ankle Replacement 	Thick or Revision Talar - Ceramic coated titanium	Size 1-6	Detail Amendment

System (Primary and Revision)

EA002	Buechel-Pappas Ultracoat Total Ankle Replacement 	Primary Talar - Ceramic coated titanium	Size 1-6	Detail Amendment

System (Primary and Revision)

EA025	Buechel-Pappas Ultracoat Total Shoulder 	Glenoid Fixation Cup - Ceramic coated titanium	44mm-52mm	Detail Amendment

Replacement System (Primary and Revision)

EA026	Buechel-Pappas Ultracoat Total Shoulder 	Glenoid Bearing - Polyethelene	2 to 4	Detail Amendment

Replacement System (Primary and Revision)

EA027	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Resurfacing Component-Ceramic coated 	44mm-56mm	Detail Amendment

Replacement System (Primary and Revision)	Titanium

EA028	Buechel-Pappas Ultracoat Total Shoulder 	Humeral-Stem w / PC-Ceramic coated titanium	8-14mm	Detail Amendment

Replacement System (Primary & Revision)

EA029	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Head-Ceramic coated titanium	44mm-52mm	Detail Amendment

Replacement System (Primary & Revision)

EA030	Buechel-Pappas Ultracoat Total Shoulder 	Salvage Humeral Stem-ceramic coated titanium	8-14mm	Detail Amendment

Replacement System (Primary & Revision)

EA031	Buechel-Pappas Ultracoat Total Shoulder 	All-Poly Glenoid	2-4	Detail Amendment

Replacement System (Primary & Revision)

EA032	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Head Extension - Ceramic coated titanium	2.5 -10mm	Detail Amendment

Replacement System (Primary & Revision)

EA033	Buechel-Pappas Ultracoat Total Shoulder 	Modular Humeral Stem Ceramic coated titanium	12mm	Detail Amendment

Replacement System (Primary & Revision)

EA034	Buechel-Pappas Ultracoat Total Shoulder 	Modular Salvage Stem - Ceramic coated titanium	1-4	Detail Amendment

Replacement System (Primary & Revision)

Changed Items for Prostheses List Report	Page 37 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

EA035	Buechel-Pappas Ultracoat Total Shoulder 	Stem Extension -  Ceramic coated titanium	8-20mm	Detail Amendment

Replacement System (Primary and Revision)

EA036	Buechel-Pappas Ultracoat Total Ankle Replacement 	Tibial componenet ceramic coated titanium	1-6	Detail Amendment

System (Primary and Revision)

EA037	Buechel-Pappas Ultracoat Total Ankle Replacement 	Polyethylene mobile bearing	3mm - 11mm	Detail Amendment

System (Primary and Revision)

EA038	Buechel-Pappas Shoulder Replacement System - 	Cancellous Bone Screw TiNi Coated	15mm, 20mm & 25mm	Detail Amendment

Bone Screw for Glenoid Fixation Cup

Endotherapeutics Pty Ltd

Ear, Nose & Throat

ET040	Vox Implants	Vox Implants are solid, irregularly textured, medical 	One size only	Detail Amendment

grade Polydimethylsiloxane Elastomer implants

suspended in a hydrogel carrier

General Miscellaneous

ET038	SX-Ella Biliary Stent	Uncovered, self-expanding nitinol stent	Dia 8-12mm, length 50-77mm	Detail Amendment

ET039	SX-Ella Tips Stent	Uncovered, self-expanding nitinol stent	Dia 10-14mm, length 52-77mm	Detail Amendment

ET051	Surgiwrap	Bio Absorbable Antiadhesion Barrier	All sizes with and without suture holes	Detail Amendment

ET056	Soft Basket Band. INFUSION PORT.	TITANIUM PORT	9.8CMS/13.3CMS	Detail Amendment

ET058	Soft Basket Band	Adjustable Gastric Band Implant	115 MM CUFF	Detail Amendment

Vascular CAG

ET006	Embospheres	-	2ml per implant	Detail and Benefit Amendment

ET007	Embospheres	-	1ml per implant	Detail and Benefit Amendment

ET008	Embospheres	-	.5ml per implant	Detail and Benefit Amendment

ET037	SX-Ella Endovascular Stent	Uncovered, self-expanding nitinol stent	Dia 6-16mm, length 22-77mm	Detail and Benefit Amendment

ET052	Hepasphere	Expanding microspheres designed for chemic0-	50 - 200 microns	Detail and Benefit Amendment

embolisation with chemotherapeutic agents such as

Ethiodil, Cisplatin, Epirubicin, Mitomycin, etc.

Enta Surgical

Ear, Nose & Throat

ES001	Trocar Myringotomy Tube	Myringotomy Tube with Trocar - Gold Coated 	One Size Only	Detail Amendment

Silver; Myringotomy Tube with Trocar - Titanium;

Myringotomy Tube with Trocar, with wire - Gold

Coated Silver; Myringotomy Tube with Trocar, with

wire - Titanium

ESKA Australia

Orthopaedic

EK015	ESKA Bipolar Femoral Head	CoCr, UHMWPE with inner femoral head included 	various diameters	Detail Amendment

Changed Items for Prostheses List Report	Page 38 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

EK034	Adapter Femoral Neck	CoCr, varying versions & offsets	One Size	Detail Amendment

Specialist Orthopaedic

EK043	PE Articular Surface Component Ankle Joint	-	4mm, 6mm, 8mm	Detail Amendment

EK051	Tibial Component Ankle Joint Cementless HA	Tibial Component Ankle Joint CoCrMo/HA	Small, Medium, X-Medium, Large, X-Large	Detail Amendment

EK075	Talar Component Ankle Joint Cementless Ha	CoCRMo/Ha	Small, Medium, Large	Detail Amendment

ev3 Australia Pty Ltd

Neurosurgical

EE027	ev3 Micro Catheters	For the delivery of therapeutic agents such as 	Length: 135 - 170cm; Diameter: 3.0 - 1.3 Fr	Detail Amendment

embolisation coils and liquid embolics. The Rebar

Micro Catheter is the only one on the market which

also delivers liquid embolics.

Vascular CAG

EE006	Protégé GPS Peripheral Stent	Protégé RX Peripheral Stent	Diameter 6-10mm Length 20-60mm	Detail Amendment

EE018	Onyx	DSMO/Liquid Embolic Material	18, 20, 34 (formulations)	Detail and Benefit Amendment

EE019	Onyx System	DSMO Liquid Embolic Material	500 Formulation	Detail and Benefit Amendment

EE022	Spider FX Embolic Protection Device	The Spider FX is a rapid exchange device 	Filter:  3.0 - 7.0mm; Capture Wire:  190 and 320cm	Detail and Benefit Amendment

percutaneously delivered distal embolic protection

device with components designed to capture and

remove debris from vessels during interventional

procedures in the vasculature.

EE024	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding Nitinol stent 	Diameter 5-8, Length 20-100mm	Detail and Benefit Amendment

premounted on an OTW delivery system.

EE025	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding Nitinol stent 	Diameter 5-8mm, Length 150-200mm	Detail and Benefit Amendment

premounted on an OTW delivery system.

Exactech Australia

Orthopaedic

EX024	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	Detail Amendment

EX035	Optetrak Total Knee System CCK and NMC 	Femoral Component, cemented, CoCr, totally 	Size 1 - 6(CCK), Size 1-5(NMC)	Detail Amendment

(constrained Condylar and Non-Modular Constrained

Knee) Femoral component

EX036	Optetrak Total Knee System, Tibial Baseplate	Tibial Baseplate, titanium, fixed insert (finned, 	Size 1-6	Detail Amendment

trapezoid, offset with locking screw), cemented

Finsbury Orthopaedics Australia Pty Ltd

Orthopaedic

FI002	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with presembleed 	44-66 outer diameter going up in 2mm increments	Benefit Amendment

with unmodified UHMPE

FI003	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with presembleed 	44-66 Outer diameter going up in 4mm increments	Benefit Amendment

with unmodified UHMPE with dysplasia flange

Changed Items for Prostheses List Report	Page 39 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

FI004	Delta motion acetabular cup	Titanium, plasma with HA cup with presembleed 	42 - 66 going in 2 mm Increments             168 - 102 	Benefit Amendment

delta ceramic liner	Acetabular Cup - 42 OD 32 bore,   168 -

104Acetabular Cup - 44 OD 32 bore,   168 - 106

Acetabular Cup - 46 OD 36 bore,   168 - 108

Acetabular Cup - 48 OD 36 Bore,   168 - 110

FI005	ADEPT CoC Acetabular component	Titanium, plasma with HA cup with presembleed 	44-66 Outer diameter going up in 4mm increments	Benefit Amendment

delta ceramic liner with dysplasia flange

FI014	Adept MoM Acetabular Component - Extra Fixation	Porocast beaded Shell , Co Cr, HA coated, dysplasia 	46-66mm Outer diameter going up in 4mm 	Detail Amendment

Cup	flange

FI042	Modula SC Neck	The complete series of MODULA SC necks, all 	OX, OY, OZ, OA, OB, OC, 9X, 9Y, 9Z, 9A, 9B, 	Detail Amendment

patented, consists of 15 sizes and makes it possible 	9C, 9AA, 9BB, 9CC

to optimise the reciprocal position of the stem and

neck cup on the basis of the articular needs of the

patient, by restoring the physiological off-set and le

Specialist Orthopaedic

FI030	Box Ankle	Tibial Component CoChr. Cementless	Small, Medium and Large	Detail Amendment

FI031	Box Ankle	Talar Component CoChr. Cementless	Small, Medium and Large	Detail Amendment

FI032	Box Ankle	Meniscal Insert, UHMWPE	Small 5-8mm, Medium 5-8mm and Large 5-8mm	Detail Amendment

FI045	PIPR Finger Joint	Proximal Interphalangeal Replacement Joint	Sizes 7 through to 11	Detail Amendment

Genzyme Australasia Pty Ltd

General Miscellaneous

GE006	Seprafilm Adhesion Barrier	Sodium hyaluronate carbomethylcellulose membrane	13cm  x 15cm	Detail Amendment

Global Manufacturing Technology Pty Ltd

Orthopaedic

GM021	Classic Marathon Bipolar Head	CoCr, Poly Liner	40mm to 58mm	Detail Amendment

GM091	Apex Global & K2 & MSA Femoral Neck	Titanium with lateral extension for stem connection	25mm - 35mm to 35mm - 50mm	Detail Amendment

Specialist Orthopaedic

GM050	Contile Fin II	6.5mm Ti Cnacellous Bone Screws	20 to 50mm	Detail Amendment

GM109	OsteoBridge	OsteoBridge Interlocking Screw	18m to 56mm	Detail Amendment

GM110	OsteoBridge	Nail	7mm, 8mm, 9mm, 10mm, 12mm, 14mm, 16mm & 	Detail Amendment

18mm

GM111	OsteoBridge	Spacer, Straight & Angled	25mm, 40mm, to 70mm30mm, 40mm, to 70mm	Detail Amendment

20mm, 20mm, to 70mm

GM112	OsteoBridge	OsteoBridge Reducing Sleeve	20mm, 25mm & 30mm	Detail Amendment

Global Orthopaedic Technology

Orthopaedic

Changed Items for Prostheses List Report	Page 40 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GO014	UniSyn Hip Complex Neck	Titanium, with lateral extension for stem connection, 	30-36mm non calcar, 45-55mm for calcar	Detail Amendment

includes calcar & non calcar replacement necks,

separate locking bolt

GO139	R120 Femoral Neck	CoCr, varying offsets & versions	32-38mm length, varying degrees	Detail Amendment

GO165	Global Cement Restrictor	PMMA, 	Various	Detail Amendment

Specialist Orthopaedic

GO092	C-Fix Cable Fixation System	Titanium Leader Cable Assembly	1-1.3mm	Detail Amendment

GO141	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm	Detail Amendment

GO142	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm	Detail Amendment

GO143	Foundation Shoulder System	Pegged & Keeled Glenoid, compression moulded 	38mm to 54mm	Detail Amendment

UHMWPE

GO148	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm	Detail Amendment

GO149	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large	Detail Amendment

GO150	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm	Detail Amendment

GO151	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm	Detail Amendment

GO152	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset	Detail Amendment

GO153	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm	Detail Amendment

GO170	Resofix Anchor	Resofix anchor is a 2-shell expansion bolt made of 	Resofix - S Anchor - 10mm; Resofix - P Anchor - 	Detail Amendment

amorphous poly DL-Lactide resorbablel polyester	10mm

GO197	SuperCable Trochanteric Grips and Cable Plate System	Trochanteric Grips - Titanium	Short 50mm, 2 Hole Plate 135mm, 4 Hole Plate 	Detail Amendment

190mm, 6 Hole Plate Straight, Right, Left 245mm

GO198	SuperCable Trochanteric Grips and Cable Plate System	Locking Screw Titanium	5.0mm diameter 10mm to 50mm length	Detail Amendment

GO199	SuperCable Trochanteric Grips and Cable Plate System	Compression Screws Titanium	4.5mm Diameter 10mm to 50 mm length	Detail Amendment

GO200	Iso-Elastic SuperCable Trochanteric Grips and Cable-	Cable Plates Titanium	6 Hole 185mm, 8 Hole Straight and Curved 240mm, 	Detail Amendment

Plates System	10 Hole Straight and Curved 290mm

Global Scientific Pty Ltd

Neurosurgical

GS001	Heyer-Schulte In Line Valve System	Anti Siphon Device	One size only	Detail Amendment

GS003	Heyer-Schulte Pudenz Flushing Valve	With Anti Siphon Device, Pressure range low - high	12, 16mm	Detail Amendment

GS004	Heyer-Schulte Pudenz Flushing Valve with Integral 	Pressure range low - high	12, 16mm	Detail Amendment

Conn

GS005	Heyer-Schulte Mishler Dual Chamber Flushing Valve	Burr-hole and flat bottom designsPressure range 	Standard, mini	Detail Amendment

System	low - high

GS011	LPV Shunt System	Standard, mini, Pressure range low - high	.	Detail Amendment

GS014	Edwards Barbaro Syringo Peritoneal Shunt	80 x 3.5cm 5FRT-Tube, 90cm peritoneal reflux 	One size only	Detail Amendment

control catheterStep down connector, Foltz CSF

GS017	Heyer-Schulte In Line Valve System	Ultra VS Cylindrical Shunt/Valve system - Neonate 	.	Detail Amendment

style, Pressure range low - high

Changed Items for Prostheses List Report	Page 41 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GS018	Heyer-Schulte In Line Valve System	Ultra VS Shunt Valve, Pressure low - high	small, standard	Detail Amendment

GS134	Shunt	Lumbar	80cm	Detail Amendment

GS137	Shunt	Pressure valve (anti-siphon device or  flushing  valve 	Low - High pressure range	Detail Amendment

or flush pump)

GS140	Heyer Schulte Ultra VS Valve Kit Neonatal Style	Comprises of silicone, kit includes valve, peritoneal 	Peritoneal catheter 90cm, ventricular catheter 18cm	Detail Amendment

cather, ventricular catheter and rickham style reservoir

GS141	Ultra VS Shunt Kit Standard - Heyer Schulte	Composition silicone, kits contain standard valve, 	3.8-5.8mm diameter valve, 18cm ventricular catheter, 	Detail Amendment

ventricular catheter, peritoneal catheter, rickham 	low, medium high pressure, 120cm peritoneal

reservoir

GS142	Novus Hydrocephalic Shunt - Heyer Schulte	Novus valve made from silicone/polysulfone, each 	Standard size - low & medium pressure; Mini size - 	Detail Amendment

valve is packed with a valve and a right angled 	low & medium pressure

catheter guide

GS143	LPV Shunt System Kit - Heyer Schulte	Composition silicone, kit includes LPV valve, 	Standard - low, medium, high pressure; Mini - low, 	Detail Amendment

peritoneal catheter, ventricular catheter, right angle 	medium, high pressure

catheter guide

GS144	Spetzler In Line Valve - Heyer Schulte	Composition silicone, valve with integral connectors	Low, Medium, High Pressure	Detail Amendment

GS209	Neonatal Shunt System	Shunt Assembly, includes separate ventricular 	Medium, low or low-low pressure	Detail Amendment

catheter, integral distal catheter

GS213	Lumboperitoneal Shunt Assemblies	CSF LP Shunt includes: silicone catheter, stainless 	Straight or "T" tube	Detail Amendment

steel trocar, suture tabs

GS217	Siphon Limiting Device	Silicone Shunt Accessory for control of CSF 	15mm length, 4.5mm height, 10mm width	Detail Amendment

overdrainage

Guidant Australia Pty Ltd

Cardio-thoracic

GU009	Fineline II Sterox IROX Lead	Model 4458, Model 4459	52cm, 58cm	Benefit Amendment

GU011	Fineline II Sterox IROX Lead	Model 4456, Model 4457	52cm, 58cm	Benefit Amendment

GU012	Fineline II Sterox IROX Lead	Model 4479, Model 4480	45cm, 52cm	Benefit Amendment

GU013	Fineline II EZ Sterox IROX Lead	Model 4472, Model 4473 & Model 4474	45cm, 52cm, 58cm	Benefit Amendment

GU016	Fineline II EZ Sterox IROX Lead	Model 4469, Model 4470 & Model 4471	45cm, 52cm, 58cm	Benefit Amendment

GU023	Guidant Aust Selute Picotip Steroid Eluting Bipolar 	Model 4033, Model 4034, Model 4035, Model 4063,	45cm , 52cm, 59cm	Benefit Amendment

Lead	 Model 4064

GU028	Guidant Aust Selute Picotip VDD Lead	Model 4340, Model 4341, Model 4342 & Model 4343	.	Benefit Amendment

GU037	Myocardial Pacing Lead	Model 4312 and 4316	54cm and 35cm	Benefit Amendment

GU056	Easytrak Lead	Model 4510, Model 4511, Model 4512 Transvenous 	65cm, 72cm, 80cm	Benefit Amendment

Coronary Sinus Lead

GU079	Pulsar Model VDD 870	Titanium	3.2mm/IS-1	Benefit Amendment

GU112	Endotak Reliance S Passive	Passive fixation single coil defibrilation leads	59cm, 64cm	Detail and Benefit Amendment

GU115	Endotak Reliance Lead	Model 0147, Model 0148 & Model 0149, 	59cm, 64cm, 90cm	Benefit Amendment

defibrillation lead, 9fr introducer (silicone coated),

steroid eluting, high impedence

Changed Items for Prostheses List Report	Page 42 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GU120	Insignia Plus DR Model 1297, Insignia Plus DR 	Dual Chamber Rate Responsive Permanent Pacemaker	One size only	Benefit Amendment

Model 1298

GU121	Insignia Entra DR Models 1294,1295,1296	Dual Chamber Rate Responsive Permanent Pacemaker	One size only	Benefit Amendment

GU122	Flextend Lead Models 4086, 4087 & 4088	Bipolar, steroid eluting, transvenous silicon 	45,52,59cm	Benefit Amendment

pace/sense leads with an extendable/retractable active

fixation for implantation into the atrium or ventricle

GU123	Endotak SQ Array XP Lead Model 0085	Endotak SQ Array XP Lead Model 0085 is used in 	70 cm	Benefit Amendment

addition to an Endotak endocardial leads for patients

with a high DFT (Defibrillation Threshold)

GU124	Insignia Entra SR Models 1195 & 1198	Single Chamber Rate Responsive Permanent 	One size only	Benefit Amendment

GU126	Insignia Plus SR Model 1194	Single Chamber Rate Responsive Permanent 	One size only	Benefit Amendment

GU129	LV-1 Lead Adaptor to IS-1	Connects Left ventricular leads to IS-1 ports in 	One size only	Benefit Amendment

pacemakers and defibrillators to replace abnormal

cardiac excitation

GU130	Y Adaptor	Connects multiple defibrillator electrodes to a 	One size only	Benefit Amendment

common port, enabling the use of shocks to revert

Ventricular Tachycardia and normal cardiac function

GU138	Easytrak 2, Model 4514,4515, 4516, 4517, 4518, 	The Easytrak 2 lead is a dual electrode version of the 	.	Benefit Amendment

4519, 4520	Easytrak lead.  The Easytrak 2 lead is a coronary

sinus lead, steroid eluting, dual electrode, pace/sense

lead.  The lead provides chronic pacing and sensing of

the left ventricle by placement in the

GU139	Insignia Ultra SR Model 1190	Implantable Cardiac Pacemaker	One size only	Benefit Amendment

GU140	Insignia Ultra DR Model 1291	Implantable Cardiac Pacemaker	One size only	Benefit Amendment

GU141	Insignia Ultra DR Model 1290	Implantable Cardiac Pacemaker	One size only	Benefit Amendment

GU142	Contak Renewal TR2 CRT - P Model H140, Model 	Implantable Cardiac pacemaker	45x54x8.5mm, 14cc, 26gm	Benefit Amendment

H145

GU144	Contak Renewal 4 HE CRT-D Model H197, Model 	Implantable dual-chamber defibrillator	one size only	Detail and Benefit Amendment

H199

GU147	Contak Renewal 4 CRT-D Model H190, Model 	Implantable dual-chamber defibrillator	One size only	Benefit Amendment

GU148	Vitality 2 EL VR - Model T177	Implantable Cardiac Defibrillator	35cc 90g	Benefit Amendment

GU149	Vitality 2 DR - Model T165	Implantable Cardiac Defibrillator	30cc ; 82g	Benefit Amendment

GU150	Vitality 2 EL DR - Model T167	Implantable cardiac Defibrillator	35cc ; 90g	Benefit Amendment

GU151	Vitality 2 VR - Model T 175	Implantable cardiac defibrillator	30cc; 82g	Benefit Amendment

GU152	Easytrak IS-1 Lead, Models 4535 to 4538	Implantable left ventricular pacemaker lead	80 - 90cm	Benefit Amendment

GU153	Easytrak 2 Is-1 Lead - Models 4542, 4543 & 4544	Implantable left ventricular pacemaker lead	80 to 100cm	Benefit Amendment

GU154	Contak Renewal 4 AVT CRT -D - Model M170 and 	Implantable Cardioverter Defibrillator with Cardiac 	37cc; 89g	Benefit Amendment

M175	Resynchronisation Therapy

GU155	Contak Renewal 4 AVT HE CRT - D - Model 	Implantable Cardioverter Defibrillator with cardiac 	40cc; 89g	Detail and Benefit Amendment

M177, M179	resynchronisation Therapy

GU156	Easytrak 3 Lead - Models 4521, 4522, 4523, 4524, 	Implantable left ventricular pacemaker lead	80 to 100cm	Benefit Amendment

4525, 4526 and 4527

Changed Items for Prostheses List Report	Page 43 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GU157	Vitality AVT - Model A155	Implantable cardiac defibrillator with both Atrial and 	30cc	Benefit Amendment

Ventricular tachyarrhythmia therapy

GU158	Endotak Reliance SG Passive	Endotak Reliance SG Passive Fixation Passive 	54cm - 90cm	Detail and Benefit Amendment

fixation single coil defibrilation leads with ePTFE

GU159	Endotak Reliance G Passive	Passive fixation dual coil defibrillation leads with 	54cm -90cm	Detail and Benefit Amendment

ePTFE covered coils

GU162	Easytrak 3 IS-1 Lead	Models 4548, 4549 and 4550. Silicone and 	Sizes 80 to 100cm	Benefit Amendment

polyurethane insulation and polyurethane protective

sleeve

GU163	ENDOTAK RELIANCE G Active	Active fixation Dual coil defibrillator leads with 	59-90cm	Detail and Benefit Amendment

ePTFE covered coils

GU164	ENDOTAK RELIANCE SG Active	Active fixation single coil defibrillation with ePTFE 	59-90cm	Detail and Benefit Amendment

covered coils

GU165	Acuity Steerable Lead	Steerable IS-1 bipolar CS LV LeadModels 4554, 	80cm, 90 cm, 100cm	Benefit Amendment

4555, 4556

Hospira Pty Limited

General Miscellaneous

HO001	GemStar Infusion Pump	Infusion pump, general purpose	Approx. 14.0 cm H x 9.7 cm W x 5.1cm D	Detail and Benefit Amendment

Imaxeon Pty Ltd

Cardio-thoracic

IX001	Amazonia CroCo	Balloon expandable intracoronary cobalt chromium 	Lengths:  8mm, 12mm, 16mm, 20mm, 24mm, 28mm, 	Detail and Benefit Amendment

stent premounted onto a rapid exchange delivery 	32, 36, and 40mm.  Diameters:  2.25mm, 2.5mm,

catheter	2.75mm, 3.0mm, 3.5mm, 4.0mm, 4.50 and 5.00 mm

in all lengths

IX002	Nile CroCo	Intracoronary stent pre-mounted on two rapid 	Diameter : 2.50 - 3.50mm.  MB and 2.00-3.00mm SB	Detail and Benefit Amendment

exchange delivery systems for bifurcation lesions

Insight Surgical Pty Ltd

Ophthalmic

IS008	Quatrix Aspheric Micro-Incision 2.2mm Intraocular 	Posterior chamber IOL, acrylic, single piece with 360 	+10 to +30	Detail Amendment

Lens	degree square edge includign the optic haptic junction,

8 point stability, evolutive aspheric, packaged with

disposable syringe and cartridge.

IS009	Quatrix Aspheric Preloaded Intraoular Lens	Preloaded posterior chamber IOL, acrylic, single 	+10 to +30	Detail Amendment

piece with 360 degree square edge including the optic

haptic junction, 8 point stability, evolutive aspheric,

packaged in a preloaded syringe.

Integra Neurosciences Pty Ltd

Neurosurgical

Changed Items for Prostheses List Report	Page 44 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

IG001	Horizontal-Vertical (H-V) Lumbar valve system	The H-V Lumbar Valve adjusts to changes in posture 	903-325A  85-125   205-285  small children, 903-	Detail Amendment

to maintain pressure appropriate levels in both 	335A  85-125  265-365  tall children, adults,  903-

standing and recumbent positions.  Has a unique anti-	345A  85-125  325-445 tall adults,  903-320A  50-80

gravity mechanism automatically increasing flow 	 170-240  small children, 903-330A  50-80  230-320

resistance when the patient resumes a standing or sitti	tall children, adults, 903-340A  50-80,  290-400 tall

Invatec Technology Center GmbH

Vascular CAG

IV001	Chromis deep cobalt Chromium, infrapopliteal OTW 	Chromis deep - Cobalt Chromium, pre-mounted 	Diameter: 2.0 mm 4.0mm Length: 10mm - 76mm	Detail and Benefit Amendment

stent	balloon expandable, 0.014" compatable stent

IQ Medical

Ophthalmic

IQ003	Tetraflex	Acrylic single piece, foldable accommodating 	Available in dioptric powers from +5.0 to +36.0, 1D 	Detail Amendment

intraocular lens with sqare edge design, custom 	steps: +31.0 to +36.0; 0.5D steps: +5.0 to +18.0 and

control precision and closed loop haptic design	+25.0 to +30.0; 0.2D steps; +18.0 to +25.0

IQ004	Softec	Acrylic, single piece, foldable intraocular lens with 	Available in dioptric powers from -5.0 to +36.0, 1D 	Detail Amendment

anterior and posterior optic-haptic square edge, 360 	steps: -5.0 to +10.0 and +31.0 to +36.0; 0.5D steps:

degree optic square edge design, precision power 	+10.5 to +18.0 and +25.0 to +29.5; 0.25D steps:

calculation and aberration technology	+18.0 to +25.0

Johnson & Johnson Medical Pty Ltd

Cardio-thoracic

JJ026	BX Velocity with Hepacoat System	Balloon expandable, stainless steel, heparin coated	.	Benefit Amendment

JJ200	BX Velocity Stent and Delivery System	Stainless steel stent	Diameter: 2.25-5.0 mm; Length 8 - 33 mm	Benefit Amendment

JJ239	BX Sonic	Stainless steel coronary stent mounted on a balloon 	Dia 2.25 - 4.0mm, lengths 8 - 33mm	Benefit Amendment

delivery system

JJ302	CYPHER Sirolimus-Eluting Stent & Delivery System	Stainless steel coronary stent with Rapamycin (an 	Diameter 2.25 - 5.0mm, length 8-33mm	Benefit Amendment

Model  CRS - 23300, 08225, 08250, 08275, 08300, 	immunosuppressive and antiproliferative drug) bound

28225, 28250, 28275, 28300, 33225, 33250, 33275, 	 to the stent struts

33300, 13225, 13250, 13275, 18225, 18250, 18275,

18300, 23225, 23250, 23275, 23350, 23400, 08350,

08400, 2835

JJ481	CYPHER SELECT Sirolimus-Eluting Stent & 	Stainless steel coronary stent with Sirolimus (an 	Diameter 2.25 - 5.0mm, length 8 - 33mm	Benefit Amendment

Delivery System	immunosuppressive and anti-proliferative drug)

bound to the stent by a polymer. Model CRA-

23300, 08225, 08250, 08275, 08300, 28225, 28250,

28275, 28300, 33225, 33250, 33275, 33300, 13225,

13250, 13275, 182

JJ587	CYPHER Select Plus Sirolimus Eluting Coronary 	Stainless steel coronary stent with Sirolimus bound 	Diameter 2.25 - 5.00mm, Length 8 - 33mm	Benefit Amendment

to the stent by a polymer

JJ670	Presillion CoCr Coronary Stent on RX System	Cobalt Chromium, bare metal coronary stent	Stent Length (mm) x Stent Diameter (mm) 8 x 2.50, 	Detail and Benefit Amendment

2.75, 3.0, 3.50, 4.0; 12 x 2.50, 2.75, 3.0, 3.50, 4.0; 17

x 2.50, 2.75, 3.0, 3.50, 4.0; 24 x 2.75, 3.0, 3.50, 4.0;

33 x 2.75, 3.0, 3.50, 4.0;

Changed Items for Prostheses List Report	Page 45 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

General Miscellaneous

JJ010	Interceed Absorbable Adhesion Barrier	Oxidized Regenerated Cellulose	7.6cm x 10.2cm	Detail Amendment

JJ019	Vypro Mesh	Vicryl/Prolene Composite Mesh	Medium - 15cm x 15cm	Detail Amendment

JJ020	Vicryl Mesh	1 sheet/box	Large - 30cm x 30cm	Detail Amendment

JJ036	Absolok* Extra Absorbable Ligating Clips 	Polydioxanone clips contained in a plastic cartridge	Small to Extralarge	Detail Amendment

JJ173	VICRYL Mesh	Polyglactin 910 - synthetic absorbable mesh.	15cm x 15cm	Detail Amendment

JJ179	VYPRO Mesh	Vicryl (polyglactin 910) / Prolene (polypropylene) 	30cm x 30cm	Detail Amendment

composite mesh

JJ240	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Small 6 x 11cm	Detail Amendment

non-absorbable Prolene polypropylene yarn.  Partly

absorbable lightweight mesh for tension free-inguinal

hernia techniques

JJ241	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Medium 12 x 10cm	Detail Amendment

non-absorbable Prolene polypropylene yarn.  Partly

absorbable lightweight mesh for tension free-inguinal

hernia techniques

JJ242	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Large 15 x 10cm	Detail Amendment

non-absorbable Prolene polypropylene yarn.  Partly

absorbable lightweight mesh for tension free-inguinal

hernia techniques

JJ243	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Extra large 15 x 15cm	Detail Amendment

non-absorbable Prolene polypropylene yarn.  Partly

absorbable lightweight mesh for tension free-inguinal

hernia techniques

JJ433	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, the 	15.2 x 22.9cm	Detail Amendment

material is biocompatible and also bactericidal.

JJ446	PROCEED Surgical Mesh	PROCEED Surgical Mesh B1	2x4 (inches)	Detail Amendment

JJ447	PROCEED Surgical Mesh	PROCEED Surgical Mesh R1	3x6 inches	Detail Amendment

JJ448	PROCEED Surgical Mesh	PROCEED Surgical Mesh N1	4x6 inches oval	Detail Amendment

JJ449	PROCEED Surgical Mesh	PROCEED Surgical Mesh D1	4x8 inches	Detail Amendment

JJ450	PROCEED Surgical Mesh	PROCEED Surgical Mesh M1	6x6 inches	Detail Amendment

JJ451	PROCEED Surgical Mesh	PROCEED Surgical Mesh G1	6x8 inches oval	Detail Amendment

JJ452	PROCEED Surgical Mesh	PROCEED Surgical Mesh H1	8x10 inches oval	Detail Amendment

JJ453	PROCEED Surgical Mesh	PROCEED Surgical Mesh J1	8x12 inches	Detail Amendment

JJ454	PROCEED Surgical Mesh	PROCEED Surgical Mesh T1	10x13 inches oval	Detail Amendment

JJ455	PROCEED Surgical Mesh	PROCEED Surgical Mesh W1	10x14 inches	Detail Amendment

JJ456	PROCEED Surgical Mesh	PROCEED Surgical Mesh L1	12x12 inches	Detail Amendment

JJ464	Divide Absorbable Adhesion Barrier	Oxidised regenerated cellulose	3.8 x 5.1cmm	Detail Amendment

JJ465	ULTRAPRO Mesh	ULTRAPRO Mesh S3	6 x 11cm	Detail Amendment

JJ466	ULTRAPRO Mesh	ULTRAPRO Mesh P3	10 x 12cm	Detail Amendment

Changed Items for Prostheses List Report	Page 46 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ467	ULTRAPRO Mesh	ULTRAPRO Mesh N3	10 x 15cm	Detail Amendment

JJ468	ULTRAPRO Mesh	ULTRAPRO Mesh M3	15 x 15cm	Detail Amendment

JJ469	ULTRAPRO Mesh	ULTRAPRO Mesh T1	15x30cm	Detail Amendment

JJ470	ULTRAPRO Mesh	ULTRAPRO Mesh L1	30x30cm	Detail Amendment

JJ565	ULTRAPRO Mesh	Composite Mesh	7.6cm x 15cm	Detail Amendment

JJ568	Echelon Endocutter	Multifire disposable surgical stapling insturment 	60mm and 45mm	Detail Amendment

60mm and 45mm

JJ576	Ethicon Omnex Surgical Sealant	Omnex Surgical Sealant	0.5 ml	Detail Amendment

JJ585	Ultrapro Hernia System	Ultrapro Hernia System. Mesh Made From 	Small to Large Oval	Detail Amendment

Composite of Monocryl & Prolene

JJ602	ULTRAPRO Plug	Partially Absorbable Synthetic Surgical Mesh Device	Small- Onlay patch plug: 12cm x 7.5cm, 5cm rim 	Detail Amendment

diameter, 3cm anchor diameter; Medium- Onlay

patch plug: 12cm x 7.5cm, 5cm rim diameter, 4cm

anchor diameter; Large- Onlay patch plug: 12cm x

7.5cm, 5cm rim diameter, 5cm anchor diameter

JJ636	Spongostan Absorbable Haemostatic Gelatin Powder	1 g Porcine Absorbable Haemostatic Gelatin Powder	1 gram	Detail and Benefit Amendment

Neurosurgical

JJ130	Aneurysm Clips	Stainless steel alloy AVM Micro Clip	Blade length 2-9.5 mm	Detail Amendment

JJ131	Aneurysm Clips	Stainless steel Graft Clip (with teflon graft)	Blade 2-5mm diameter, 3-7mm length 	Detail Amendment

JJ134	Aneurysm Clips	Stainless steel Reinforcing (booster) Clip	Blade length 2-9.5 mm	Detail Amendment

JJ136	Aneurysm Clips	Stainless steel large clip, curved	Blade 6mm diameter, 7.5mm length	Detail Amendment

JJ137	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 5mm length	Detail Amendment

JJ138	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 7.5-15mm length	Detail Amendment

JJ139	Aneurysm Clips	Stainless steel large clip, 30 degree angle	Blade length 12mm	Detail Amendment

JJ140	Aneurysm Clips	Stainless steel large clip, bayonet	Blade length 5-12mm	Detail Amendment

JJ141	Aneurysm Clips	Stainless steel large clip, fenestrated	Blade 6mm diameter, 24mm length	Detail Amendment

JJ142	Aneurysm Clips	Stainless steel large clip, fenestrated tandem	Blade 6mm diameter, 6 mm length	Detail Amendment

JJ143	Aneurysm Clips	Stainless steel standard clip, straight to right angled	4.5-10mm length	Detail Amendment

JJ144	Aneurysm Clips	Stainless steel standard clip, side angle	0.6mm diameter, 10mm length	Detail Amendment

JJ146	Aneurysm Clips	Stainless steel standard clip, slightly curved	0.6mm diameter, 15mm length	Detail Amendment

JJ147	Aneurysm Clips	Stainless steel standard clip, right angle	0.6mm diameter, 5.5 mm length	Detail Amendment

JJ148	Aneurysm Clips	Stainless steel standard clip, straight to right angle	0.5-0.6mm diameter, 5-15mm length	Detail Amendment

JJ149	Aneurysm Clips	Stainless steel standard clip, straight to curved	5-25mm length	Detail Amendment

JJ150	Aneurysm Clips	Stainless steel standard clip, slightly curved	16mm length	Detail Amendment

JJ151	Aneurysm Clips	Stainless steel standard clip, bayonet	9mm length	Detail Amendment

JJ152	Aneurysm Clips	Stainless steel standard clip, bayonet	15mm length	Detail Amendment

JJ153	Aneurysm Clips	Stainless steel standard clip, curved	10-14mm length	Detail Amendment

Changed Items for Prostheses List Report	Page 47 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ154	Aneurysm Clips	Stainless steel standard clip, slightly curved to curved	8-20mm length	Detail Amendment

JJ155	Aneurysm Clips	Stainless steel standard clip, bayonet to right angle	6-25mm length	Detail Amendment

JJ156	Hakim Precision Valve System	Precision valve standard. Silicone casing & catheter; 	Peritoneal Catheter length 80 cm, Ventricular catheter	Detail Amendment

stainless steel ruby ball in cone mechanism with fixed	 length 14 cm

pressure

JJ157	Hakim Precision Valve System	Precision valve and pre-chamber. Silicone casing & 	Peritoneal Catheter length 80 cm, Ventricular catheter	Detail Amendment

catheter; stainless steel ruby ball in cone mechanism 	 length 14 cm

with fixed pressure

JJ158	Hakim Programmable Valve System	Standard system. Silicone casing without catheter; 	One size only	Detail Amendment

stainless steel ruby ball in cone mechanism with

variable pressure

JJ159	Hakim Programmable Valve System	Standard system. Silicone casing with catheter; 	Peritoneal Catheter length 80 cm, Ventricular catheter	Detail Amendment

stainless steel ruby ball in cone mechanism with 	 length 14 cm

variable pressure

JJ160	Hakim Ventricular Catheter with Bactiseal Silicone	Silicone antibiotic impregnated catheter	Ventricular catheter length 14 cm	Detail Amendment

JJ161	Codman-Medos Non-programmable Valve System	Silicone fixed pressure lumber/peritoneal catheter, 	Peritoneal Catheter length 25-80cm	Detail Amendment

James design

JJ162	Codman-Medos Non-programmable Valve System	Silicone fixed pressure lumber/peritoneal catheter, 	Peritoneal Catheter length 65 cm	Detail Amendment

Holter design

JJ163	Hakim Ventricular and Peritoneal Catheter Set with 	Silicone ventricular/peritoneal catheter	Peritoneal Catheter length 80 cm, Ventricular 	Detail Amendment

Bactiseal Silicone	Catheter length 15 cm

JJ164	Siphonguard CSF Control Device	PET shell anti-siphon device for shunt	One size only	Detail Amendment

JJ165	Burr Hole Button	Stainless steel ventriculostomy reservoir	One size only	Detail Amendment

JJ166	Burr Hole Button	Silicone or stainless steel ventriculostomy reservoir	14mm diameter	Detail Amendment

JJ167	Burr Hole Button	Silicone ventriculostomy reservoir, flat bottom	One size only	Detail Amendment

JJ168	Burr Hole Button	Silicone ventriculostomy reservoir, standard	One size only	Detail Amendment

JJ169	Burr Hole Button	Silicone ventriculostomy reservoir, large	One size only	Detail Amendment

JJ170	Burr Hole Button	Silicone or stainless steel ventriculostomy reservoir, 	One size only	Detail Amendment

low profile

JJ171	Burr Hole Button	Silicone or stainless steel ventriculostomy reservoir	24mm diameter	Detail Amendment

JJ217	Aneurysm Clips	Stainless steel large clip	Blade 4-6mm diameter, 5-25mm length	Detail Amendment

JJ218	HOLTER Intracranial Pressure Shunt	HOLTER Ventricular Catheter, packaged sterile, 	3 - 7cm and 15cm	Detail Amendment

silicone rubber

JJ219	Hakim Programmable Valve System	Fixed pressure hydrocephalus shunt, packaged 	One size only	Detail Amendment

sterile, stainless steel and ruby valve mechanism,

silicone rubber ventricular and peritoneal catheters.

In line or right angled with reservoir.  Valve can be

reprogrammed non-invasively 18 pressure settings a

JJ220	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, packaged 	One size only	Detail Amendment

sterile, stainless steel and ruby valve mechanism,

silicone rubber ventricular and peritoneal catheters.

In line or right angled with reservoir.  Opening

pressure  H20; Very high 130mm, high 100mm,

Changed Items for Prostheses List Report	Page 48 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ221	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, packaged 	One size only	Detail Amendment

sterile, stainless steel and ruby valve mechanism,

silicone rubber ventricular and peritoneal catheters.

In line or right angled with reservoir.  Opening

pressure  H20; Very high 130mm, high 100mm,

JJ225	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter, packaged sterile, 	90cm in length	Detail Amendment

silicone

JJ226	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter Salmon, packaged	90cm in length	Detail Amendment

sterile, silicone

JJ227	Codman Medos Straight Ventricular Catheter	14cm, packaged sterile, silicone rubber	14cm	Detail Amendment

JJ228	Codman Medos Connector	Codman Medos stainless steel shunt connector 	One size only	Detail Amendment

JJ229	Codman Medos Peritoneal Catheter	85cm, packaged sterile, silicone rubber	85cm	Detail Amendment

JJ261	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO catheter, packaged sterile, silicone 	91cm in length	Detail Amendment

JJ262	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO three way connector, packaged sterile, 	One size only	Detail Amendment

metal or plastic

JJ263	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO barium ventricular catheter, packaged 	One size only	Detail Amendment

sterile, silicone rubber

JJ264	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO right angle connector, packaged sterile, 	One size only	Detail Amendment

metal or plastic

JJ436	Codman Hakim Programmable Valves	18 different pressure settings, various models	One Size Only	Detail Amendment

JJ437	Codman Hakim Programmable Valves with 	18 different pressure settings and SIPHONGUARD 	One Size Only	Detail Amendment

Siphonguard	technology

JJ438	Codman Hakim Precision Valves with Siphonguard, 	features 5 operating pressures and SIPHONGUARD 	Pressure settings 10, 40, 70, 100 and 130mmH2O	Detail Amendment

Right Angle Reservoir	technlogy

JJ439	Codman Hakim Precision Valve with Siphonguard, 	features 5 operating pressures and SIPHONGUARD 	Pressure settings 10, 40, 70, 100 and 130mmH2O	Detail Amendment

Inline Reservoir	technology

JJ440	Codman Hakim Precision Valve, Right Angle 	features 5 operating pressures	10, 40, 70, 100, and 130mmH2O	Detail Amendment

JJ691	Mountaineer OCT Spinal System - Inner screw	Titanium inner screw	One size only	Detail Amendment

JJ738	Expedium Spine System	DI Favoured Angle Reduction Tab Polyaxial Screw	4.35-10mm Diameter 20 - 100mm Length	Detail Amendment

JJ740	Duraform Dural Graft Implant - 1" x 1" (2.5x2.5cm)	Collagen-based dural graft implant	1'x1' (2.5x2.5cm)	Detail Amendment

JJ741	Duraform - 1" x 3" (2.5x7.5cm)	Collagen-based dural graft implant	1x3"(2.5x7.5cm)	Detail Amendment

JJ742	Duraform Dural Graft Implant - 2" x 2"(5x5cm)	Collagen-based dural graft implant	2'x2' (5x5cm)	Detail Amendment

JJ743	Duraform Dural Graft Implant - 3" x 3" (7.5 x 7.5cm)	Collagen-based dural graft implant	3" x 3" (7.5 x 7.5cm)	Detail Amendment

JJ744	Duraform Dural Graft Implant - 4" x 5" (10x12.5cm)	Collagen-based dural graft implant	4" x 5" (10x12.5cm)	Detail Amendment

Orthopaedic

DP143	PFC Sigma Knee System tibial stems 	PFC Sigma Knee; Tibiak Stems cemented and fluted 	Sizes 30-150mm	Detail Amendment

uncemented, titanium and cemented, fluted stem

DP171	Hastings Bipolar Prosthesis	Bipolar femoral head, CoCr with fixed UHMWPE 	Size 36 - 56	Detail Amendment

DP188	Self Centering Bipolar Head	Bipolar femoral head, CoCr with UHMWPE insert	28mm inner diameter, 39-65mm outer diameter	Detail Amendment

DP233	Hardinge Cement Restrictor	Hardinge cement Restrictor (ea)	One size only	Detail Amendment

Changed Items for Prostheses List Report	Page 49 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DP448	BIO Stop G	Biostop Restrictor (Gelatin, Glkycerol, PHBM, 	size 8-20	Detail Amendment

DP575	C-Stem End Cap	End Cap Biostop Restrictor (Gelatin, Glycerol, 	Size 8- 20 	Detail Amendment

PHBM, water)

DY215	Pinnacle Femoral Head	CoCr , metal on metal,	28, 36, 40, 44, 48 mm	Detail Amendment

DY367	PFC Sigma TC3 Knee System  Tibial Insert 	Tibial Insert, totally constrained, mobile bearing, 	Size 1.5 to 5 thickness of 10mm to 30mm	Detail Amendment

UHMWPE, with post

JJ651	ASR PLUS Cup - ASR Hip System	Acetabular Cup	42-70mm	Detail Amendment

JJ753	Hardinge Cement Restrictor	UHMWPE cement restrictor	One size only	Detail Amendment

JJ754	DePuy Femoral Cement Restrictor	UHMWPE cement restrictor	Size 0 to 10	Detail Amendment

Plastic and Reconstructive

JJ258	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-sterile	0.6mm thickness, 65 x 65mm, 90 x 92mm	Detail Amendment

JJ492	BIOPLATE Sterile Packs	813573, 2-Hole straight plate and screws - 1.5mm	1 kit	Detail Amendment

JJ493	BIOPLATE Sterile Packs	813574, 2-Hole compression plate and screws - 1.5mm	1 kit	Detail Amendment

JJ494	BIOPLATE Sterile Plates	813575, 2-Hole straight plate and screws - 1.5mm	1 kit	Detail Amendment

JJ497	BIOPLATE Sterile Packs	813578, X-plate and screws - 1.5mm	1 kit	Detail Amendment

JJ498	BIOPLATE Sterile Packs	813579, 4-Hole plate and screws - 1.5mm	1 kit	Detail Amendment

JJ500	BIOPLATE Sterile Packs	813581, 2-Hole straight plate and screws - 1.9mm	1 kit	Detail Amendment

JJ505	BIOPLATE Sterile Packs	813586, X-plate and Screws - 1.9mm	1 kit	Detail Amendment

JJ506	BIOPLATE Sterile Packs	813587, Boxcar plate and screws - 1.9mm	1 kit	Detail Amendment

JJ544	BIOPLATE Low Profile	Low Profile Flex Contoured Burr Hole Cover	Low profile 0.3mm, 1.5mm diam hole, 12 - 18mm 	Detail Amendment

diam plate

JJ638	BIOPLATE Neurosurgery Fixation System - 	Five Hole T-Plate with Screws - Titanium	1.5mm	Detail Amendment

BIOPLATE Low Profile Plate and Screw Sterile Packs

JJ687	PDS Plates	Absorbable synthetic (poly-p-dioxanone) plate/foil	0.25mm x 30mm x 40mm                                             	Detail Amendment

0.5mm x 30mm x 40mm

0.25mm x 40mm x 50mm

0.5mm x 40mm x 50mm

JJ734	Bioplate - Two hole straight plate with 2 self drilling 	Sterile low profile kit -2 hole plate w/ 2 self drill scews	11-19mm plates and 3-5mm self-drilling screws	Detail Amendment

screws sterile kit

JJ735	Bioplate - 2 x two hole straight plate with 4 self-	Sterilised low profile kit containing 2 x 2 hole 	11 - 19mm plates and 3-5mm self drilling screws	Detail Amendment

drilling screws sterile kit	compression plates and 4 x self-drilling screws

Specialist Orthopaedic

DP020	Global Advantage Shoulder	Eccentric Head, Cobalt chrome alloy	44- 56mm x 18, 21mm	Detail Amendment

DP029	Global Advantage Shoulder	Revision Stem Titanium alloy	8mm x 200mm - 14mm x 220mm	Detail Amendment

DP030	Global Advantage Shoulder	Stem Standard, Titanium alloy	6mm - 16mm	Detail Amendment

DP039	Orthosorb Absorbable Pin	Orthosorb K-Wire	L300 D2.0mm Thread Each	Detail Amendment

DP040	Bone Screw	Screw Cancellous Titanium	Diameter 4.5-6.5mm	Detail Amendment

DP045	Isola System (Stainless Steel)	Double Wire	One size only	Detail Amendment

Changed Items for Prostheses List Report	Page 50 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DP077	Global Advantage Shoulder	Global Advantage Stem STD or Long Chrome	Size 8 to 14 or Length 6-16mm	Detail Amendment

DP081	Global Shoulder	Global Advantage HUM HD 	Size 15 - 21	Detail Amendment

DP086	Global Shoulder 	Global FIN/ Peg  Glenoid	Size 40-56	Detail Amendment

DP088	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone Fixation Pins 3 pins per 	40 x 1.3mm	Detail Amendment

DP089	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone 3 pins per pkt	40mm x 2mm	Detail Amendment

DP090	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	1mm x 40mm x 1.3mm	Detail Amendment

DP091	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	40 x 2.0mm	Detail Amendment

DP092	Orthosorb Absorbable Pin	Orthosorb K Wire  - Stainless Steel Tapered Pins	1 x 40mm x 1.3mm Pk 3	Detail Amendment

DP093	Orthosorb Absorbable Pin	Orthosorb -Polydiameterxanone	50 x 1.3mm	Detail Amendment

DP094	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone 2 pins per pkt	40mm x 2.0mm	Detail Amendment

DP095	Orthosorb Absorbable Pin	Orthosorb Arthroscopic Fix-Set - Polydiaxanone 5 	40 x 1.3mm	Detail Amendment

pins per pkt

DP232	Suture Wire	Wire Suture Stainless Steel	10-36G	Detail Amendment

DP330	Tibial Nail System 	Tibial Nail or Dynamic Tibial Nail Titanium 	8-13mm x 25.5-42.5cm	Detail Amendment

Unsterile or Sterile

DP331	Tibial Nail System 	End Cap Titanium 	One size only	Detail Amendment

DP339	Femoral Nail	End Cap Titanium 	One size only	Detail Amendment

DP343	Femoral Nail System	Femoral Nail Titanium Sterile or Unsterile	8 -15mm x 30- 240mm	Detail Amendment

DP363	Control Cable	Control Cable sleeve 	One size only	Detail Amendment

DP367	Humeral Nail System	Humeral Nail Titanium Sterile or Unsterile	20 – 30 cm	Detail Amendment

DP371	Humeral Nail System	End Cap Various Titanium Unsterile or Sterile	One size only	Detail Amendment

DP391	Ace External Fixator	Pin Holder Bolt - Titanium	All sizes	Detail Amendment

DP480	Isola System (Stainless Steel)	Wire with Button or Beaded Wire	18 and 20 gauge wire	Detail Amendment

DP528	Nancy Nail System	Pediatric Flexible Nail	2.5 or 3.0 mm x 190 -290mm	Detail Amendment

DP529	Nancy Nail System	Pediatric Flexible Nail	3.5 mm x  270-350mm	Detail Amendment

DP531	Nancy Nail System	Pediatric Flexible Nail	4.0 mm x  330-450mm	Detail Amendment

DP571	Art Retrograde Nail	Femoral Nail Titanium Unsterile or Sterile	9 -12mm x 30 - 50cm	Detail Amendment

DP572	Nancy Nail System 	Pediatric Flexible Nail	2.0 mm x 130 - 190mm	Detail Amendment

DP573	Neuflex Finger   	Neuflex MCP implant - Anasil Silicone	Size 0-60	Detail Amendment

DP592	Small / Large  Fragment Set	Cannulated Cancellous Lag Screw Titanium	6.5 - 8mm or 22 mm threaded screw	Detail Amendment

DP593	Small / Large  Fragment Set	Cannulated Cancellous Screw 	4mm or 16mm or 32mm Thread, 26-120mm Length	Detail Amendment

DP597	Small / Large  Fragment Set	Solid Cortical Screw Titanium	3.5 - 6.5mm; 10 - 120mm Length	Detail Amendment

DP598	Small / Large  Fragment Set	Cannulated Bone Screw	3.5 mm length 50-60 mm	Detail Amendment

DP605	Small / Large  Fragment Set	Cancellous Lag Screw Titanium	4.8 - 6.5mm	Detail Amendment

DP608	Small / Large  Fragment Set	Straight Plate Titanium	3-12 Hole	Detail Amendment

DP612	Small / Large  Fragment Set	Active Compression Plate Titanium	3.5mm  5 to 10 Hole	Detail Amendment

Changed Items for Prostheses List Report	Page 51 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DP613	Small / Large  Fragment Set	Humeral and Radial Plate Titanium Various	Wide - Narrow - Long - Extra Long	Detail Amendment

DP615	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 8 to 10 holes	Detail Amendment

DP617	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 12-14 holes	Detail Amendment

DP618	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 3 to 7 holes	Detail Amendment

DP627	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	4mm or 5mm Dia 10-76 mm Length	Detail Amendment

DP632	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	5.0mm Length 50 - 80mm	Detail Amendment

DP635	Small / Large  Fragment Set	Solid Cancellous Lag Screw  Partial Thread Titanium	4mm Dia 10-60mm Length	Detail Amendment

DP638	Small / Large  Fragment Set	Solid Cancellous Bone Screw Full Thread Titanium	4mm Dia 50-110mm Length	Detail Amendment

DP640	Small / Large  Fragment Set	Cancellous Cannulated  Lag Screw Partial Thread 	4mm 10 to 70mm Length	Detail Amendment

DP643	Small / Large  Fragment Set	Cannulated Cancellous Screw Full Threaded - 	4 x 10 -100mm Length	Detail Amendment

Stainless Steel

DP646	Small / Large  Fragment Set	Washer Titanium - Flat/Cup/Countersink	One size only	Detail Amendment

DP654	Small / Large  Fragment Set S/S	Cortical Screw Diameter - Stainless Steel	3.5 or 4.5 x 12 - 48mm Length	Detail Amendment

DP664	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	20-150mm	Detail Amendment

DP668	Small / Large Fragment Set S/S	CHS Lag Screw Stainless Steel 	Length 50-145mm	Detail Amendment

DP672	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile	2-8 Hole 95 to 150 Deg	Detail Amendment

DP675	Small / Large Fragment Set S/S	Broad Bone Plate Stainless Steel 	3-6 Hole for 1.5mm	Detail Amendment

DP678	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm with 2 - 12 Hole	Detail Amendment

DP683	Small / Large Fragment Set S/S	Cerclage Wire Loop Stainless Steel 	0.8-1.2mm x 280-600	Detail Amendment

DP689	Small / Large Fragment Set S/S	Condylar Plate & Mini Condylar Plate	All sizes	Detail Amendment

DP695	Small / Large Fragment Set S/S	Y-Plate Stainless Steel           	2 + 2 + 4 or 4 + 4 + 4 Slots	Detail Amendment

DP719	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 3-8 Hole	Detail Amendment

DP759	Small / Large Fragment Set S/S	Washer Spiked, Standard, Cancellous, Cortical & 	One size only	Detail Amendment

Fastening Wire

DP793	Small / Large Fragment Set S/S	K/Wire Stainless Steel 	0.8 to 3.0 mm x 6-9" or 150-500mm	Detail Amendment

DP809	Small / Large Fragment Set S/S	K-wire standard	0.2-3.5mm	Detail Amendment

DP837	Peak Channelled Plate System	Cortical Bone Screw	3.5mm	Detail Amendment

DP854	Songer Cable System - Titanium	Flex Bar - Large/Small or Flanged Crimp 2 Hole Bar 	35mm/30mm	Detail Amendment

/Flat Bar (Pk 2)

DP858	Songer Cable System  - Stainless Steel	Flanged Crimp/Flat Bar (Pk2) or 2 Hole Bar (Pk 2)	One size only	Detail Amendment

DP859	Songer Cable System  - Stainless Steel	Isola Single Cable & Crimp (Pkt 6)	One size only	Detail Amendment

DP860	Songer Cable System  - Stainless Steel	Double Loop Cable with 2 Crimps	One size only	Detail Amendment

DP862	Songer Cable System  - Titanium	Double Loop Cable with 2 Crimps	One size only	Detail Amendment

DP864	Songer Cable System  - Titanium	Isola Single Cable & Crimp (Pkt 6)	One size only	Detail Amendment

DP871	Agility Ankle System	Agility Ankle Talar	Size 1 - 6	Detail Amendment

DP878	Barouk System Staples	Varisation Staple  Stainless Steel	26-90Deg x 8-10mm	Detail Amendment

Changed Items for Prostheses List Report	Page 52 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DP879	Barouk System Staples	Memory Staple - Titanium Alloy	12-20mm Long	Detail Amendment

DP880	Barouk System Staples	TIFLEX Staple  / Pin -  Titanium	1.6 - 2.5 Dia 7-24mm width 13/15-36/50mm Length	Detail Amendment

DP883	Barouk SCR Sys Staples and Buttons	Barouk Screw System Button Prosthesis - SS or 	8-20mm	Detail Amendment

Ceramic

DP888	Calcaneal Periarticular Plate	Calcaneal Periarticular Plate - Titanium	Extra small to Ex Large	Detail Amendment

DP893	Rockwood Clavical Pin	Nut Clavical Pin S/S	2.5 to 4.5mm	Detail Amendment

DP898	S-Fit Metal Glenoid	S-FIT Glenoid Bearing 	Size 40-52	Detail Amendment

DP899	S-Fit Metal Glenoid	S-FIT M/B Glenoid 	Size 40-52	Detail Amendment

DP900	Albizza Nail	Albizza Nail - Stainless Steel	240-320mm Length	Detail Amendment

DP901	Albizza Nail	Albizza Nail Cotter Screw	3.5 or 4.5 0r 5.5 mm 25-75 mm length	Detail Amendment

DP904	Periarticular Plating System	Plate Calcaneal  - Titanium	Small - Large	Detail Amendment

DP905	Periarticular Plating System	Fibula Composite Plate - Titanium  	5 Hole	Detail Amendment

DP906	Periarticular Plating System	Medial Pilon Plate - Titanium 	3 Hole	Detail Amendment

DP907	Periarticular Plating System	Meta Plate - Titanium	Sm - Lge  3 Hole	Detail Amendment

DP911	Periarticular Plating System	Meta Plate - Titanium      	Sm -Lge  5 Hole   	Detail Amendment

DP915	Periarticular Plating System	Medial Pilon Plate - Titanium	5 Hole 	Detail Amendment

DP916	Periarticular Plating System	Medial Pilon Plate - Titanium	7 Hole 	Detail Amendment

DP929	Supacondylar Nail System	Supracondylar Titanium Nail Sterile or Unsterile	10 to 12 mm x 15-30cm	Detail Amendment

DP931	Small / Large Fragment Set 	Solid Cortical Screw Titanium	6.5mm x 40 - 100mm	Detail Amendment

DP952	Delta Shoulder system	Centror Glenoid INOX / ST.Steel / Nichtrostender St.	Size 36-40 /42	Detail Amendment

DP954	Delta Shoulder system	Metaglene Screw Stainless Steel	3.5mm and 4.5mm	Detail Amendment

DP956	Delta Shoulder system	Cementless Diaphysis INOX/ ST. Steel + 	Size 1-4	Detail Amendment

Aluminia+HAC

DP957	Delta Shoulder system	Cemented Epiphysis INOX/ ST. Steel + 	Size 1-4 in 26-42mm	Detail Amendment

DP958	Delta Shoulder system	Humeral Cup Laterilised Polyethylene	36 - 42mm in +0 to +9/STD/LAT/STD Retentive	Detail Amendment

DP962	Delta Shoulder system	DELTA Humeral Head INOX / ST.Steel / 	36 - 42 mm in +0-+4	Detail Amendment

Nichtrostender St.

DP964	Delta Shoulder system	Humeral Spacer INOX / ST.Steel / Nichtrostender St.	Dia 36/42 + 9	Detail Amendment

DP965	Delta Shoulder system	Revision Cementless Diaphysis INOX / ST. Steel + 	Size 1-4	Detail Amendment

Aluminia+HAC

DP966	Global FX Shoulder	Global FX Stem Chrome	6-12mm and STD and revision 160-220mm length	Detail Amendment

DY082	Agility LP Ankle System	Agility Ankle Tibial Shell Right and Left	Size 1-6	Detail Amendment

DY083	Agility LP Ankle System	Agility Ankle Tibial Insert 	Size 1-6	Detail Amendment

DY129	Global Advantage CTA Head	44 x 18 - 56 x 23	Detail Amendment

DY136	Restore Orthobiologic Soft Tissue Implant	Restore Patch	One size only	Detail Amendment

DY137	Acclaim Elbow	Humeral Stem, Std/Lge	100-200mm	Detail Amendment

DY138	Acclaim Elbow	Ulnar Stem, Std/Lge-Left/Right	60-85mm	Detail Amendment

Changed Items for Prostheses List Report	Page 53 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DY140	Acclaim Elbow	Linked Ulnar Metal Bearing or Polyethylene Yoke	One size only	Detail Amendment

DY223	Ace External Fixator	Ring, aluminium	1/3 ring small 6" diameter	Detail Amendment

DY225	Ace External Fixator	Ring, composite	1/3 ring large	Detail Amendment

DY226	Ace External Fixator	Ring, composite	1/3 ring medium	Detail Amendment

DY227	Ace External Fixator	Ring, composite	1/3 ring small	Detail Amendment

DY228	Ace External Fixator	Threaded Rod, titanium	1/4" x 10cm	Detail Amendment

DY229	Ace External Fixator	Threaded Rod, titanium	1/4" x 15cm	Detail Amendment

DY230	Ace External Fixator	Threaded Rod, titanium	1/4" x 20cm	Detail Amendment

DY231	Ace External Fixator	Threaded Rod, titanium	1/4" x 25cm	Detail Amendment

DY234	Ace External Fixator	Titanium half pin thread	15-80mm, 155 x 5mm to 220 x 5mm	Detail Amendment

DY236	Ace External Fixator	Spacer with bolt, titanium	2.5-5mm	Detail Amendment

DY237	Ace External Fixator	Ring, aluminium	2/3 ring, Medium - Large	Detail Amendment

DY238	Ace External Fixator	Ring, composite	2/3 ring, medium - Large	Detail Amendment

DY240	Ace External Fixator	Ring, aluminium	2/3 ring, small 6" diameter	Detail Amendment

DY241	Ace External Fixator	Ring, composite	2/3 ring, small	Detail Amendment

DY242	Ace External Fixator	Stainless steel transfix pin	250/300 x 5mm with 40-70mm thread	Detail Amendment

DY243	Ace External Fixator	Titanium Transfix Pin	250/300 x 5mm with 40-70mm thread	Detail Amendment

DY245	Ace External Fixator	TIP CapS, polyethylene	3-5mm	Detail Amendment

DY248	Ace External Fixator	Adaptor rod, titanium	8mm	Detail Amendment

DY249	Ace External Fixator	Pin holder adaptor, aluminium	90"	Detail Amendment

DY251	Ace External Fixator	Anchor assembly, titanium	One size only	Detail Amendment

DY252	Ace External Fixator	Articulation, titanium	One size only	Detail Amendment

DY253	Ace External Fixator	Bolt clevis, titanium	One size only	Detail Amendment

DY256	Ace External Fixator	Locking nut, titanium	One size only	Detail Amendment

DY257	Ace External Fixator	Nut, stainless steel	One size only	Detail Amendment

DY258	Ace External Fixator	Position pins I/C foot plate, titanium	One size only	Detail Amendment

DY259	Ace External Fixator	Ring adapter bolt, titanium	One size only	Detail Amendment

DY260	Ace External Fixator	Ring connector, titanium	One size only	Detail Amendment

DY262	Ace External Fixator	Spherical nut and washer, titanium	One size only	Detail Amendment

DY263	Ace External Fixator	U rings, aluminium	One size only	Detail Amendment

DY264	Ace External Fixator	Universal joint, titanium	One size only	Detail Amendment

DY266	Ace External Fixator	Wire bolt hinge, titanium	One size only	Detail Amendment

DY267	Ace External Fixator	Wire fixation bolt, cannulated or slotted (stainless 	One size only	Detail Amendment

DY268	Ace External Fixator	Connecting rod, aluminium	X-Short, short, medium or long	Detail Amendment

DY271	Ace External Fixator	Ring adaptor, titanium	One size only	Detail Amendment

Changed Items for Prostheses List Report	Page 54 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

DY294	Bremer Halo Crown System	Aluminium Crown & Vest	Standard & 3D	Detail Amendment

DY323	Ace Trochanteric Nail	Trochanteric Lag Screw Sterile	60 to 120mm	Detail Amendment

DY324	Ace Trochanteric Nail	Trochanteric Anti Rotation Screw Sterile	60 to 100mm	Detail Amendment

DY325	Ace Trochanteric Nail	Trochanteric End Cap Sterile	5 to 25mm	Detail Amendment

DY326	Ace Trochanteric Nail	Trochanteric Nails Sterile in Standard or Left or Right	125 - 130 deg, 9 - 11mm, 320 - 420mm, sterile and 	Detail Amendment

non-sterile

DY360	Global Advantage Shoulder	Anchor Peg Glenoid	40 to 56 mm	Detail Amendment

DY380	Versa Nail	TTC Fusion Nail Sterile	10mm x 15cm up to 12mm x 30cm	Detail Amendment

DY381	Versa Nail	TTC Fusion Nail Unsterile	10mm x 15cm up to 12mm x 30cm	Detail Amendment

DY382	Versa Nail	TTC Nail Cap Unsterile Impinging and Non Impinging	One Size	Detail Amendment

DY383	Versa Nail	TTC Nail Cap Sterile Impinging and Non Impinging	One Size	Detail Amendment

DY386	Hoffman Wrist Kit	Hoffman Sterile Wrist Kit	One size only	Detail Amendment

DY400	Neuflex Finger	Neuflex PIP	1 to 20	Detail Amendment

DY408	Mobility Ankle	Mobile Bearing	1-6 from 3-11mm	Detail Amendment

DY409	Agility LP Ankle System	Wide Ankle Talus	Size 1-6	Detail Amendment

DY414	Guepar Radial Implants	Radial Stem, Radial Head	+0 to+4	Detail Amendment

DY415	Guepar Radial Implants	Radial Stem, Radial Head	14/12mm to 16/16mm	Detail Amendment

DY418	Mobile Ankle	Tibial Tray	Size 1-6	Detail Amendment

DY419	Mobile Ankle	Talus	Size 1-6	Detail Amendment

DY477	BioIntrafix Tibial Soft Tissue Fastener (Sheath)	Absorbable composite (TCP/PLA) fixation device 	30mm	Detail Amendment

(sheath) used in conjunction with a screw

JJ071	Mitek Kurosaka Advantage Fixation Screw	Titanium Screw Cannulated - Advantage	7 & 9mm x (15 to 40mm)	Detail Amendment

JJ072	Mitek Kurosaka Fixation Screw	Titanium Screw Cannulated - Profile	7,8 & 9mm x (20 to 30mm)	Detail Amendment

JJ076	Mitek Ethibond Knotless Suture Anchor	Titanium anchor	2.7 x 10.8 mm	Detail Amendment

JJ077	Mitek Polypropylene Meniscus Fastner	Polypropylene anchor	6 & 8mm x 4mm 	Detail Amendment

JJ078	Rigidfix ACL Cross Pin System 	Polylactic acid pin	2.7 & 3.3mm x 42mm	Detail Amendment

JJ083	Mitek GII Anchor Threader Tab	Titanium Suture Anchor	2.4 x 8.8mm	Detail Amendment

JJ084	Mitek Rotator Cuff Anchor Threader Tab	Titanium Suture Anchor	2.8 x 11mm	Detail Amendment

JJ085	Mitek Super Anchor Threader Tab to bone	Titanium Suture Anchor	2.8 x 11.4mm	Detail Amendment

JJ087	Mitek Tacit Quick Anchor 	Titanium Suture Anchor	2.0 x 3.6mm	Detail Amendment

JJ089	Mitek GII QuickAnchor Plus 	Titanium Anchor, with various sutures	2.4 x 8.8mm	Detail Amendment

JJ091	Mini Quick Anchor with Suture	Anchor with Suture	Anchor with Suture and Multiple size needles	Detail Amendment

JJ093	Mitek Rotator Cuff Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11mm	Detail Amendment

JJ095	Mitek Super Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11.4mm	Detail Amendment

JJ096	Mitek Fastin Anchor 	Titanium Suture Anchor	3 x 8.4mm, 4 x 9.7mm, 5.2 x 11.5mm	Detail Amendment

JJ097	Fastin RC Anchor System	Titanium Anchor, with various sutures	5 & 6.5mm	Detail Amendment

Changed Items for Prostheses List Report	Page 55 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ098	Panalok RC Anchor System	Polylactic acid absorbable anchor with absorbable and	2.9 x 11.0mm	Detail Amendment

non-absorbable suture

JJ099	Panalok Anchor System	Polylactic acid absorbable anchor with absorbable and	4.1 x 6.0mm	Detail Amendment

non-absorbable suture

JJ100	Micro Quick Anchor 	Titanium Suture Anchor	1.3 x 3.7mm	Detail Amendment

JJ124	Intrafix Tibial Sheath	High density polyethylene sheath	7 to 10mm x (15 to 30mm)	Detail Amendment

JJ125	Intrafix Tibial Tapered Screw	Plastic tapered screw	6 to 10mm x (15 to 30mm)	Detail Amendment

JJ126	Contack Fastener	Polylactic acid tack	(3.5 to 7.5mm) x11.5mm	Detail Amendment

JJ127	Absolute Absorbable Interference Screw 	Polylactic acid screw	7 to11mm x (23 to 30mm)	Detail Amendment

JJ128	Cuff Link 	High density plastic link	8mm	Detail Amendment

JJ231	Bioknotless Anchor System	PLA absorbable material with various sutures	Dia 3.9mm, length 9mm	Detail Amendment

JJ233	Panalok RC QuickAnchor Plus DS Panacryl Suture	Anchor composed of PLA, Suture composed of PLA 	Anchor diameter 2.9mm, length 11mm	Detail Amendment

and PGA

JJ234	Panalok RC QuickAnchor Plus DS Ethibond Suture	Anchor composed of PLA, Suture composed of 	Anchor diameter 2.9mm, length 11mm	Detail Amendment

polyester

JJ307	Rapidloc Meniscal Repair PLA Tophat with 	Composition: PLA Implant and Ethibond Suture, non	2/0	Detail Amendment

Ethibond Suture	 absorbable suture

JJ308	Rapidloc Meniscal Repair PLA Tophat with 	Composition: PLA Implant and Panacryl Suture	Straight needle, 12 degree curved needle, 27 degree 	Detail Amendment

Panacryl Suture	curved needle

JJ337	Biocryl - TCP/PLA Interference Screw	Composition - Tricalcium Phosphate & Polylactic 	7x23mm; 7x30mm; 8x23mm; 8x30mm, 9x23mm; 	Detail Amendment

9x30mm; 10x23mm; 10x30mm; 11x30mm

JJ420	MiniLok Quick Anchor Plus with Suture	Anchor composition is PLA	Anchor with Suture and Multiple size needles	Detail Amendment

JJ421	MicroFix Anchor with Suture	Anchor with suture	Anchor with Suture and Multiple size needles	Detail Amendment

JJ422	MiniLok Quick Anchor with Suture	Anchor with Suture	Anchor with Suture and Multiple size needles	Detail Amendment

JJ424	Panalok RC Loop Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	Detail Amendment

JJ425	Panalok RC Loop Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	Detail Amendment

JJ426	Bioknotless RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	Detail Amendment

JJ427	Lupine Loop Anchor System	PLLA with various sutures	Dia 3.9mm Length 9mm	Detail Amendment

JJ429	Bioknotless RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	Detail Amendment

JJ431	Lupine Loop Anchor System	PLLA with various sutures	Dia 3.9mm Length 9mm	Detail Amendment

JJ457	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with absorbable 	5mm, 6.5mm	Detail Amendment

suture with needles

JJ458	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with non-	5mm, 6.5mm	Detail Amendment

absorbable suture without needles

JJ460	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with non-	5 & 6.5mm	Detail Amendment

absorbable suture with needles

JJ461	RapidLoc Meniscal Repair System with PDS	PLA (absorbable) backstop and PDS (absorbable) 	One size only	Detail Amendment

top hat and Panacryl absorbable suture connecting

the top hat and backstop

JJ471	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with absorbable 	5 - 6.5mm	Detail Amendment

suture without needles

Changed Items for Prostheses List Report	Page 56 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ472	BioKnotless Anchor System	PLA absorbable material with various sutures	Dia 3.9mm Length 9mm	Detail Amendment

JJ473	BioIntrafix Tibial Soft Tissue Fastener	Absorbable composite (TCP/PLA) fixation device 	6 to 10mm by length 30mm	Detail Amendment

(screw) used in conjunction with a sheath for the

repair of ACL Soft Tissue Graft

JJ483	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with non-	5mm, 6.5mm	Detail Amendment

absorbable suture with or without needles

JJ484	MILAGRO (TCP/PLGA) Interference Screw	MILAGRO (TCP/PLGA) Interference ACL Screw 	7mm x 23mm, 7mm x 30mm, 8mm x 23mm, 8mm x 	Detail Amendment

System	30mm, 9mm x 23mm, 9mm x 30mm, 9mm x 35mm,

10mm x 23mm, 10mm x 30mm, 10mm x 35mm,

11mm x 30mm, 11mm x 35mm, 12mm x 30mm,

12mm x 35mm

JJ548	DELTA Xtend	Monobloc Humeral Cemented Epiphysis Standard	1 + 2  8, 10, 12, 14mm	Detail Amendment

JJ549	DELTA Xtend	Monobloc Humeral Cemented Epiphysis Revision	1 + 2  8, 10, 12, 14mm	Detail Amendment

JJ550	DELTA Xtend	Modular Humeral Diaphysis	10, 12, 14, 16mm	Detail Amendment

JJ551	DELTA Xtend	Modular Centered Epiphysis HA coated	1 + 2	Detail Amendment

JJ552	DELTA Xtend	Modular Eccentric Epiphysis	1 + 2 Left + Right	Detail Amendment

JJ553	DELTA Xtend	High Mobility Humeral PE Cup	38 + 42;  3, 6, 9mm	Detail Amendment

JJ554	DELTA Xtend	Delta Xtend CTA Head Extended Lip	48 + 52; 21, 26mm	Detail Amendment

JJ555	DELTA Xtend	Eccentric Glenosphere	38 + 42	Detail Amendment

JJ556	DELTA Xtend	Standard Glenosphere	38 + 42	Detail Amendment

JJ557	DELTA Xtend	Non Locking Metaglene Screw Dia 4.5	4.5mm; 18, 24, 30, 36, 42	Detail Amendment

JJ558	DELTA Xtend	Locking Metaglene Screw Dia 4.5	4.5mm; 24, 30, 36, 42, 48	Detail Amendment

JJ559	DELTA Xtend	Standard Humeral PE Cup	38 + 42;  3, 6, 9mm	Detail Amendment

JJ560	DELTA Xtend	Retentive Humeral PE Cup	38 + 42; 6mm	Detail Amendment

JJ561	DELTA Xtend	Humeral Spacer	9mm	Detail Amendment

JJ588	Femoral Intrafix System	Screw and Sheath Fixation System for the Femur in 	7 to 10mm	Detail Amendment

ACL repairs

JJ611	Global AP Shoulder	Humeral Stem Long	Humeral Stem Long - 8mm, 10mm, 12mm, 14mm	Detail Amendment

JJ613	Global AP Shoulder	Humeral Head	Humeral Heads - 40x15, 40x18, 44x15, 44x18, 44x21,	Detail Amendment

48x15, 48x18, 48x21, 52x15, 52x18, 52x21, 56x18,

56x21

JJ614	Global AP Shoulder	Humeral Head-Eccentric	Humeral Heads - 40x15, 40x18, 44x15, 44x18, 44x21,	Detail Amendment

48x15, 48x18, 48x21, 52x15, 52x18, 52x21, 56x18,

56x21

JJ615	Global AP Shoulder	Fixed 135 Degree taper Assembly	135 Degree Angle	Detail Amendment

JJ616	Global AP Shoulder	Ball Taper Adjustable Neck Assembly	N/A	Detail Amendment

JJ618	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, titanium	Standard, left & right	Detail Amendment

JJ619	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, titanium	Narrow, wide, short, X-large, XX-large narrow-left &	Detail Amendment

right

JJ620	Distal Radius Fracture Repair System	DNP, dorsal nail plate, titanium	Standard, left & right	Detail Amendment

Changed Items for Prostheses List Report	Page 57 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ621	Distal Radius Fracture Repair System	Fragment locking plate, titanium	Right, left, straight, Y	Detail Amendment

JJ622	Distal Radius Fracture Repair System	Locking peg, threaded, partly threaded, smooth, 	2.5mm x 14-40mm	Detail Amendment

titanium/cobalt chrome

JJ623	Distal Radius Fracture Repair System	Locking cortical bone screw, titanium	2.5mm-3.5mm x 10-28mm	Detail Amendment

JJ624	HI S3 Shoulder Fixation System	S3 Shoulder Plate	 3 Hole, Left & Right & 4 Hole, Left & Right	Detail Amendment

JJ625	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	6 - 8 Hole, Left & Right	Detail Amendment

JJ626	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	11 - 14 Hole, Left & Right	Detail Amendment

JJ627	HI S3 Shoulder Fixation System	Peg, Standard Stainless Steel	4mm x 20mm - 65mm	Detail Amendment

JJ628	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 20mm - 65mm	Detail Amendment

JJ629	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 37.5mm	Detail Amendment

JJ630	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 40mm, 45, 47.5mm, 50mm, 52.5mm, 55mm, 	Detail Amendment

57.5mm, 60mm, 62.5mm, 65mm,

JJ631	HI S3 Shoulder Fixation System	Screw, Multidirectional Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38	Detail Amendment

JJ632	HI S3 Shoulder Fixation System	Screw, 90 Deg Locking Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38	Detail Amendment

JJ633	HI S3 Shoulder Fixation System	Set Screw, 90 Deg Locking 	One size	Detail Amendment

JJ637	Global Advantage Shoulder – Cross Linked Anchor 	Cross Linked Polyethylene Glenoid Implant	40 to 56 mm including XL	Detail Amendment

Peg Glenoid

JJ639	Small Bone Fixation System - Small Bone Flexible 	Intramedullary Nail	1.6mm and 1.1mm	Detail Amendment

JJ641	Small Bone Fixation System - Small Bone Fixation 	Intramedullary Nail Fixation System Kit	1.6mm and 1.1mm	Detail Amendment

System Kit

JJ672	VersaNail IM Nailing Platform	Troch Entry and Universal Femoral Nails, Titanium, 	9-13mm x 28-48CM	Detail Amendment

Locking, cannulated.

JJ673	VersaNail IM Nailing Platform	Humeral Nails, Universal and Proximal, Titanium, 	7-10 mm x 150-280mm	Detail Amendment

Locking, cannulated

JJ674	VersaNail IM Nailing Platform	Tibial Nails, Titanium, Locking, cannulated.	8-13mm x 25 - 50cm	Detail Amendment

JJ675	VersaNail IM Nailing Platform	End caps for VersaNail IM Nail Platform	Flush, impinging & 5-15mm	Detail Amendment

JJ678	Versalok Bone Anchor System with Orthocord	Anchor, sterile, pre-mounted on inserter shaft with 2 	One size only	Detail Amendment

free strands of Orthocord suture

JJ680	Polyax Plating System	Cortical Locking Screw, Titanium	8-60mm	Detail Amendment

JJ681	Polyax Plating System	Distal Femoral Locking Plate, Titanium	6-18 holes	Detail Amendment

JJ682	Polyax Plating System	Polyaxial Cancellous Cannulated Locking Screw, 	25-90mm	Detail Amendment

Titanium

JJ683	Polyax Plating System	Polyaxial Cancellous Locking Screw, Titanium	25-100mm	Detail Amendment

JJ684	Polyax Plating System	Cancellous Non-Locking Screw, Titanium	40-100mm	Detail Amendment

JJ685	Polyax Plating System	Cancellous Locking Screw, Polyaxial, Titanium	50-100mm	Detail Amendment

JJ686	Polyax Plating System	Proximal Tibial Locking Plate, Titanium	2-14 holes	Detail Amendment

JJ696	Lupine BR Anchor System	Biocryl Rapide anchor with two strands of 	One size only	Detail Amendment

Orthocord suture

Changed Items for Prostheses List Report	Page 58 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ698	Bioknotless BR Bone Anchor System	BIOKNOTLESS BR anchors with Orthocord or 	One size only	Detail Amendment

Panacryl suture

JJ707	ATN Trochanteric Nail System	Titanium anti-rotational screw for Trochanteric nail	40 - 150mm	Detail Amendment

JJ708	ATN Trochanteric Nail System	Titanium lag screw for Trochanteric nail	40-150mm	Detail Amendment

JJ709	ALPS - Anatomic Locked Plating System	3.5MM Titanium 100° Tubular Plate	1-4 holes	Detail Amendment

JJ710	ALPS - Anatomic Locked Plating System	3.5MM Titanium LOCKING COMPRESSION 	5-10 hole plates	Detail Amendment

JJ711	ALPS - Anatomic Locked Plating System	3.5MM Titanium 100° Tubular Plate	5-10 holes	Detail Amendment

JJ713	ALPS SFS	Cancellous Titanium Bone Screws	10-150MM	Detail Amendment

JJ714	ALPS SFS	Cancellous Titanium Locking Bone Screws	10-70MM	Detail Amendment

JJ715	ALPS SFS	Cannulated Cancellous Titanium Bone Screws	10-70MM	Detail Amendment

JJ716	ALPS SFS	Cortical Titanium Bone Screws	2.7-3.5 x6-70MM	Detail Amendment

JJ717	ALPS SFS	Cortical Locking Titanium Bone Screws	6-70MM	Detail Amendment

JJ719	ALPS SFS	Flat and cupped Titanium washers	Flat and cupped	Detail Amendment

JJ720	ALPS LFS	4.5mm locked narrow and broad 1-4 hole titanium 	1-4 hole	Detail Amendment

compression plate

JJ721	ALPS LFS	4.5mm locked narrow and broad 5-10 hole titanium 	5-10 hole	Detail Amendment

compression plate

JJ722	ALPS LFS	4.5mm locked narrow and broad 11-20 hole titanium 	11-20 hole	Detail Amendment

compression plate

JJ723	ALPS LFS	Cancellous Titanium locking screws	26-100MM	Detail Amendment

JJ724	ALPS LFS	Cancellous Titanium non-locking screws	6.5mm diameter	Detail Amendment

JJ725	ALPS LFS	Cortical Titanium locking screws	8-100MM	Detail Amendment

JJ726	ALPS LFS	Cortical Titanium non- locking screws	4.5mm x 14-70mm	Detail Amendment

JJ727	ALPS LFS	Offset, Reconstruction and 4.5mm Spider and T-	4-25 holes	Detail Amendment

plates, Titanium

JJ728	ALPS LFS	Flat and cupped Titanium washers	4.5-6.5mm	Detail Amendment

JJ729	ALPS Anatomic Locked plating system	Anterolateral and Medial Distal Tibial Anatomic 	5-10 holes	Detail Amendment

Locking Plate, Titanium

JJ730	ALPS-Anatomic Locked Plating system	Anterolateral and Medial Distal Tibial Anatomic 	11-20 holes	Detail Amendment

Locking Plate, Titanium

JJ731	ALPS Distal Tibia	Polyaxial Titanium locking screws	20-60mm	Detail Amendment

JJ737	Compression Hip Screw System	Compression hip screw plate, stainless steel	25-38mm, 2-16 holes, 95-150 degrees	Detail Amendment

JJ774	Healix PEEK Suture Anchor	PEEK anchor with Orthocord suture	4.5 - 6.5mm anchor diameter	Detail Amendment

JJ783	ALPS Hand Fracture System - CoCr Pegs	Locking pegs & screws, threaded, partly threaded, 	10 - 2.5mm x 4 - 40mm	Detail Amendment

JJ784	ALPS Hand Fracture System - Titanium Pegs	Pegs, threaded, partly threaded, titanium	1.0 - 2.5mm x 4 - 40mm	Detail Amendment

JJ785	ALPS Hand Fracture System - Locking Plate	Locking plates, titanium, various shapes	1.0mm - 2.5mm locking plates	Detail Amendment

JJ787	Global CAP Resurfacing Humeral Head Implant	Global CAP Conservative Anatomical Prosthesis 	40-56mm Diameter	Detail Amendment

(Shoulder Humeral Head Surface Replacement)

Changed Items for Prostheses List Report	Page 59 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

JJ788	Global AP CTA Humeral Head	CTA Humeral Head	Sizes 44-56mm	Detail Amendment

Vascular CAG

JJ057	Palmaz Balloon Expandable Stent	Stainless steel stent	Diameter 4-12mm, length 20-30mm	Detail and Benefit Amendment

JJ058	Palmaz Balloon Expandable Stent	Stainless steel stent	Extra-large	Detail and Benefit Amendment

JJ068	SMART .018" Peripheral Stent System	Nitinol carotid stent and delivery system	6 - 10 mm	Detail and Benefit Amendment

JJ224	TruFill Pushable coil	Platinum pushable  coil of 1. Straight, 2. C, 3. Flat 	Size .014" outer diameter.  Size 2 - 10mm and length 	Detail and Benefit Amendment

spiral and 4. Complex shapes.  Embolic coil and 	2 - 100mm

delivery tube.

JJ235	SMART Peripheral stent system	Laser cut nitinol tube.  Available in long stents to 	Dia 6 - 8mm, length 120mm	Detail and Benefit Amendment

treat large vessel lesions.

JJ304	Palmaz Genesis Peripheral Stent and Delivery 	Stainless steel balloon expandable stent mounted on a	Diameter 3-8mm, length 12-39mm	Detail and Benefit Amendment

System on Slalom	 slalom balloon

JJ305	Palmaz Genesis Peripheral Stent and Delivery 	Stainless steel balloon expandable stent mounted on 	Diameter 4-8mm, length 12-39mm	Detail and Benefit Amendment

System on Opta Pro	an Opta Pro Balloon

JJ306	Palmaz Genesis Peripheral Stent	Stainless steel peripheral stent	Diameter 4-12mm, length 11-79mm	Detail and Benefit Amendment

JJ419	SMART Control Peripheral Stent System	SMART Control is a laser cut nitinol self expanding 	Dia 6 – 14mm; Length 20 – 100mm	Detail and Benefit Amendment

stent, used to treat peripheral vessel disease.

JJ423	OPTEASE retrievable vena cava filter	OPTEASE is a laser cut nitinol vena cava filter, used 	Suitable for vessels up to 30mm	Detail and Benefit Amendment

to treat patients at high risk of pulmonary

JJ445	ANGIOGUARD XP Emboli Capture Guidewire 	Distal protection device and delivery system	Length: 300cm, diameter: 0.014, Basket sizes 4mm, 	Detail and Benefit Amendment

5mm, 6mm, 7mm, and 8mm

JJ463	PRECISE RX Nitinol Stent System	Nitinol self expandable stent and repid exchange 	Stent Lengths 20, 30, 40mm; Stent Diameter: 5, 6, 7, 	Detail and Benefit Amendment

delivery system	8, 9, 10mm

JJ479	PALMAZ GENESIS on CORDIS AMIIA RX .014 	Peripheral balloon expandable stent and rapid 	Lengths: 12, 15, 18, 24mm. Diameter: 4, 4.5, 5, 5.5, 	Detail and Benefit Amendment

Delivery System	exchange delivery system	6, 6.5, 7mm

JJ480	Angioguard RX Emboli Capture Guidewire System	Distal protection device and delivery system	Length 180cm, Diameter 0.014"; basket sizes 4mm, 	Detail and Benefit Amendment

5mm, 6mm, 7mm and 8mm

JJ567	PALMAZ® BLUE™ .018 Peripheral Stent System	L605 Cobalt Chromium Alloy Balloon Expandable 	12, 15, 18, 24mm length 4, 5, 6, 7mm diameter	Detail and Benefit Amendment

Stent

JJ592	SMART Nitinol Stent System	Long 120mm Stent, 6F compatible	6-8mm diameter, 120mm stent length, 120cm 	Detail and Benefit Amendment

delivery system

JJ617	SMART Nitinol Stent System	Long 150mm stent, 6F compatible	6-8mm diameter, 150mm length, 120cm delivery 	Detail and Benefit Amendment

system

JJ646	Precise Pro Rx Nitinol Stent System	Nitinol self expanding stent	Diameter:  5, 6, 7, 8, 9, 10mm;  Length:  20, 30, 40mm	Detail and Benefit Amendment

JJ688	Palmaz Blue .014 Renal Stent System (on Aviator 	CoCr balloon expandable stent	12, 15, 18, 24mm Lengths                                        	Detail and Benefit Amendment

40, 50, 60, 70mm diameters                                    80,

142cm shaft lengths

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia

Vascular CAG

Changed Items for Prostheses List Report	Page 60 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

KA007	Mahurkar Subclavian Catheter Kit	Chronic haemodialysis, long term vascular access for 	36, 40cm	Detail Amendment

haemodialysis and apheresis. Constructed of

radiopaque silicone rubber.  Kit contains: Catheter,

18ga Introducer Needle, J/Straight 0.038" Guidewire,

10cc Syringe, Tunnelling Stylet, Pull-Apart

Sheath/Dilator, (4) Gauze Sponges, (2) Wound

Dressings, (2) Injection Sealing Caps.

KA008	Single Lumen Right Atrial Catheter	Central Venous Catheters constructed of radiopaque 	84cm, 1.3mm OD, 94cm 2.2mm OD, 94cm 3.2mm OD	Detail Amendment

silicone rubber

KA009	RAAF Dual Lumen Catheter	Central Venous Catheter constructed of radiopaque 	4.5mm (Catheter), 95cm (Catheter Overall Length); 	Detail Amendment

silicone rubber	3.2mm (Catheter), 102cm (Catheter Overall Length)

KA010	Triple Lumen Right Arterial Catheter	Central Venous Catheter constructed of radiopaque 	3.9mm	Detail Amendment

silicone rubber

KA011	Permcath Dual Lumen Catheter	Chronic Haemodialysis, long term vascular access for 	36cm, 40cm	Detail Amendment

haemodialysis and aphaeresis.  Constructed of

radiopaque silicone rubber. Kit contains: Catheter,

18ga Introducer Needle, J/Straight 0.038" Guidewire,

10cc Syringe, 10Fr. Dilator (28cm only), 12Fr.

Dilator (except 28cm), #11 Scalpel, Tunnelling Stylet,

Oval Pull-Apart Sheath/Dilator, (4) Gauze Sponges,

(2) Wound Dressing, (2) Injection Sealing Caps.

KA012	Mahurkar Subclavian Catheter Kit	Acute haemodialysus, short term vascular access. 	11.5 Fr, 13.5cm Straight Extension, 11.5 Fr, 16cm 	Detail Amendment

Catheters constructed of radiopaque polyurethane. 	Straight Extension, 11.5 Fr 19.5cm Straight

Tips are made of polyvinyl chloride and are more 	Extension, 10 Fr 12cm Curved Extension, 10 Fr 15cm

radiopaque than the rest of the catheter. Kit contains:	 Curved Extension, 11.5 Fr 16cm Curved Extension,

10 or 11.5 Fr Catheter, 18ga Introducer Needle, 	11.5 Fr 16cm Curved Extension, 11.5 Fr 19.5cm

J/Straight Guidewire, 10 Fr Dilator, 12 Fr Dilator, 2 x	Curved Extension

Adhesive Wound Dressings.

KA013	Permcath Dual Lumen Catheter	Chronic haemodialysis, long term vascular access for 	28, 36, 40cm	Detail Amendment

haemodialysis and aphaeresis.  Constructed of

radiopaque silicone rubber.

KA014	Mahurkar Maxid Catheters	Catheters constructed of radiopaque polyurethans, 	Size, 38, 43, 48, 53cm	Detail Amendment

high kink resistant.  The arterial lumen is shorter than

the venous lumen at the catheter's distal end in order

to reduce recirculation during haemodialysis

KA018	Palindrome	Haemodialysis catheter	14.5Fr. 19, 23, 28, 33, 55cm Insertion Lengths, with 	Detail Amendment

36, 40, 45, 50, 72cm Overall length, with side slots,

symmetric tip

KA019	Mahurkar 12Fr Triple Lumen Catheter	Mahurkar 12Fr Triple Lumen Catheter Curved 	12Fr - 13cm, 16cm, 19cm & 24cm lengths available	Detail Amendment

Extension Kit

KA020	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter	Mahurkar 13.5Fr Q-Plus Curved Extension Double 	13.5Fr - 13.5cm, 16cm, 19cm & 24cm lengths available	Detail Amendment

Lumen Catheter Kit

Kevin Grundy (IBD) Pty Ltd

Ophthalmic

KG005	Rayner Sulcoflex Aspheric Toric Pseudophakic 	Acrylic, Aspheric, Toric Pseudophakic Secondary 	6.5mm / 13.5mm - 5.0D+5.0D Spheres : Increments 	Detail Amendment

Secondary I.O.L - Standard	IOL :  Sulcus-fixated with Undulating Haptics and 	up to  + 5.00D Cylinder

Posterior Haptic Angulaiton

Changed Items for Prostheses List Report	Page 61 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

KG007	Rayner Sulcoflex Aspheric Toric Pseudophakic 	6.5mm/13.5mm - 5.0D to +5.0D sphere: increments 	6.5mm/13.5mm - 5.0D sphere: increments up to 	Detail Amendment

Secondary IOL (Premium)	up to 11.0D cylinder	11.0D cylinder

KG009	Rayner "M-Flex" Mulitfocal Foldable IOL	Acrylic, Foldable, Single piece multi-zoned refractive 	6.5mm Optic-Overall diameter 12.5mm: +3D or + 4D	Detail Amendment

aspheric multifocal with Amon-Apple 360 Degree 	 Addition: +14D to +25D in 1.0D increments: +8.5D

Square edge, Anti Vaulting Haptics	to +23.5D in 0.5D increments

KG010	Rayner M-Flex Toric (Standard)	Acrylic, Foldable, Single Piece, Multi-zoned 	5.75mm / 12.0mm: 6.25mm / 12.5mm +3.00D or 	Detail Amendment

Refractive Aspheric Toric Mulitfocal with Amon-	+4.00D Addition FAR: +14.0D to +32.00D in 0.5

Apple enhanced 360 degree Square edge, Anti 	STEPS: +2.00D Cylinder. NEAR: +14.0D to 27.0D

in 0.5 STEPS: +2.00D Cylinder

KG011	Rayner "M-Flex" Toric (Non Standard)	Acrylic, Foldable, Single Piece, Muli-Zoned 	5.75/12.0mm: 6.25/12.5mm +3.00D to +4.00D 	Detail Amendment

Refractive, Toric Multifocal with Amon-Apple 	Addition FAR: +14.0D to +32.0D in 0.5D

enhanced 360 Degree square edge, Anti-vaulting 	Increments: NEAR: +14.0D to +27.0D in 0.50D

Haptics, Patient Specific.	Increments Cylinder: 1.0D to 1.5D and 2.5D to

6.00D in 0.5 increments

Lifehealthcare Pty Ltd

Ear, Nose & Throat

LH404	NeoZoline Otological Ventilation Tubes	Armstrong, Collar Button, Shepard, Reuter, 	1.10mm, 1.14mm, 1.27mm, 1.40mm, 0.76mm	Detail Amendment

Donaldson, Paparella, Shah

General Miscellaneous

LH377	Durasphere FL	Composition: Pyrolitically carbon coated silica bead 	Syringe 1ml	Detail Amendment

in an aqueous gel. Injectable bulking agent for the

treatment of Faecal Incontinence. Syringe plus needle.

LH378	Durasphere FL	Composition: Pyrolitically carbon coated silica bead 	Syringe 3ml	Detail Amendment

in an aqueous gel. Injectable bulking agent for the

treatment of Faecal Incontinence. Syringe plus needle.

Neurosurgical

LH116	Aneurism Clip	Sugita Clips, Standard Slightly Curved,	One Size Each	Detail Amendment

LH117	Aneurism Clip	Sugita Clip, Temporary Straight/S,  Sugita Clip, 	One Size Each	Detail Amendment

Temporary Straight/L

LH118	Aneurism Clip	Sugita Clips: Standard Straight-Short #1/Long #2	One Size Each	Detail Amendment

LH119	Aneurism Clip	Sugita Titanium Anneurysm Clips: Standard 	One Size Each	Detail Amendment

Straight/s, Straight-L, Bayonet, Angled, Straight-

Small, STD Temp-STD Small, STD Temp-

Straight/Large, STD Temp-Bayonet, STD Temp-

CVD, Mini Straight-Small, Mini Straight/Large, Mini

Curve, Mini Angled, Mini Curve

LH147	Aneurism Clip	Sugita Titanium Clips: Standard Slight Angle, Side 	One Size Each	Detail Amendment

CVD, CVD, Angled, Bayonet-Small/Large, Straight-

Medium, Slight CVD, Straight Large, L Angle-

Small/Medium/Large, 45D CVD

Small/Medium/Large, STD Temp Slight CVD, Temp

Mini Straight/Large, Temp Mini Angle,

Changed Items for Prostheses List Report	Page 62 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LH148	Aneurism Clip	Sugita Titanium Clips: Standard Side CVD Bayonet, 	One Size Each	Detail Amendment

Small CVD, Side Angled, Slight CVD, J Angle-

Small/Medium/Large, Slight CVD Small, Temp Mini

Straight Slim, Standard L Curved- Small/Large, Mini

Straight Slim, Curve Slim,

LH149	Aneurism Clip	Sugita Titanium Clips: Booster	One Size Each	Detail Amendment

LH150	Aneurism Clip	Sugita Clips: Mini Straight Slim, CVD Slim	One Size Each	Detail Amendment

LH151	Aneurism Clip	Sugita Clips: Fenest, Lrg L Shaped W/CVD	One Size Each	Detail Amendment

LH152	Aneurism Clip	Sugita Clips, Mini CVD Slim	One Size Each	Detail Amendment

LH153	Aneurism Clip	Sugita Clips, Long	One Size Each	Detail Amendment

LH154	Aneurism Clip	Sugita Clip,  Large Straight/Short	One Size Each	Detail Amendment

LH155	Aneurism Clip	Sugita Clip, Temporary Bayonet, Bent	One Size Each	Detail Amendment

LH156	Aneurism Clip	Sugita Clip, STD Sideward CVD	One Size Each	Detail Amendment

LH157	Aneurism Clip	Sugita Clip, Large Sideward Bent, Bent, Bayonnet-	One Size Each	Detail Amendment

Short/Large, Straight-Medium/Long

LH158	Aneurism Clip	Sugita Clip, Large L Shaped-Short/Medium/Large, 	One Size Each	Detail Amendment

Large J Shaped-Short/Medium/Large, Fenest Large

Straight-S/M/L, Large Bent-S/M/L, Fenest Large L

Shaped-S/M/L

LH159	Aneurism Clip	Sugita Clip, Temporary Mini Straight, Bent, Mini 	5-7mm length x 1.2mm width, closing force 125gms	Detail Amendment

Straight/Short, Bent, SDEWARD CVD, CVD

LH160	Aneurism Clip	Sugita Clip, Mini CVD	4mm length x 1.2mm width, closing force 120 & 	Detail Amendment

124gms

LH161	Aneurism Clip	Sugita Clip, Mini CVD	5mm length x 1.2mm width, closing force 132gms	Detail Amendment

LH162	Aneurism Clip	Sugita Clip, Large Slightly Crv-Short/Long	One Size Each	Detail Amendment

LH163	Aneurism Clip	Sugita Clip, Large 45 D Angle/s, Slightlyn Crv/s, 	One Size Each	Detail Amendment

Temporary Slighly Crv, Mini Straight Slim, Large 1/4

CVD, Mini

LH164	Aneurism Clip	Sugita Clip, Large Straight, Bayonet, Mini Bayonet	One Size Each	Detail Amendment

LH165	Aneurism Clip	Sugita Clip, Large L Shaped W/CRV-S/L, 1/4 CVD-S/L	One Size Each	Detail Amendment

LH166	Aneurism Clip	Sugita Clip, Large 45D Angle-M/L	One Size Each	Detail Amendment

LH167	Aneurism Clip	Sugita Clip, Fenest Large L Shaped-L, Bayonet	One Size Each	Detail Amendment

LH168	Aneurism Clip	Sugita Clip, Fenest Large L Shaped W/CVD	One Size Each	Detail Amendment

LH169	Aneurism Clip	Sugita Clips, Standard Bayonnet, Bent, Sideward 	One Size Each	Detail Amendment

Bent, Sideward Curve, Slight Bent

LH170	Aneurism Clip	Sugita Clips, Standard Sideward Curve, Curved	One Size Each	Detail Amendment

LH171	Aneurism Clip	Sugita Clips, Standard Slight CVD, CVD	11mm length x 1.2 width, closing force 125-160gms; 	Detail Amendment

9mm length x 1.2 width, closing force 120-155gms

LH294	Mizuho - Titanium Fenestrated Aneuysm Clips	Straight (S/M/L), Bent (S/ M/L),  L-Shaped (S/M/L), 	Closing Force 95 to 160 gms	Detail Amendment

Bayonet,  L Shaped curved to left (S/M/L),  L-

Shaped curved to right (S/M/L)

Changed Items for Prostheses List Report	Page 63 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LH296	Duraseal Dural Sealant	DuraSeal is a Synthetic, absorbable, Polyethylene 	5ml of hydrogel sealant	Detail Amendment

Glycon, hydrogel sealant used as an adjunct to

sutured dural repair to achieve watertight closure.

LH369	DuraSeal Xact Spinal Dural Sealant	Xact Dural Sealant for spine )Packaged in sterile 	2ml vial	Detail Amendment

single use disposable tray with MicroMyst

Applicator & precurser syringes)

Orthopaedic

LH064	Groupe Lepine	Bipolar shell and UHMPE liner	42 - 60mm in 1mm increments	Detail Amendment

LH184	Modular U Necks	Cobalt chrome	Standard, varus, valgus, antiverted right, antiverted left	Detail Amendment

Specialist Orthopaedic

LH197	SR Hand Implant System	SR Hand MCP/PIP/TMC (Basal Thumb) Implants - 	XS/S/M/L/XL, 1,2,3,4,5	Detail Amendment

CoCr- Titanium Alloy, UHMWPE

LH232	Toe Joint	Metallic Hemiarthroplasty resurfacing prosthesis for 	8mm - 23 mm	Detail Amendment

the Metatarsophalangeal Joint

LH248	SCS Distal Radius Plate System	Left and Right, Tined	Small, Large	Detail Amendment

LH250	Diamond Plate/Carpal Button	Carpal Fusion Plate	Large, Small	Detail Amendment

LH253	Total Wrist Implant System	Left and Right Radial Components	Small, Medium, Large	Detail Amendment

LH254	 Total Wrist Implant System	Carpal Screws	15, 18, 22, 26, 30mm	Detail Amendment

LH255	Total Wrist Implant System	Carpal Ball	Small, Medium, Large	Detail Amendment

LH256	Total Wrist Implant System	Carpal Component	Small, Medium, Large	Detail Amendment

LH257	Preflex	MCP Finger Joint Implant	00/10/20/30/40/50/60mm	Detail Amendment

LH272	Blackstone - Posterior Cervical System	Crimp Two Pack - Titanium	One size only	Detail Amendment

LH273	Blackstone - Posterior Cervical System	Double  Loop Cable w/Four Crimps - Titanium	One size only	Detail Amendment

LH274	Blackstone - Posterior Cervical System	Single Loop Cable w/Two Crimps - Titanium	One size only	Detail Amendment

LH306	HemiCAP Contoured Articular Resurfacing Shoulder 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 2.5mm x 2.5mm to 	Detail Amendment

System	5.0mm x 5.0mm offset;  Articular Component 30mm

- 4.5mm x 4.5mm to 7.0mm x 7.0mm offset; Articular

Component 35mm - 6.0mm x 6.0mm to 9.5mm x

9.5mm; Articular Component 40mm - 8.0mm x

8.0mm to 12.0mm x 12.0mm

LH307	HemiCAP Contoured Articular Resurfacing Shoulder 	Fixation Screw - Titanium	Fixation component for 25mm, 30mm, 35mm, 40mm 	Detail Amendment

System	Artuclar Components Screw 10.5mm Dia & 12.5mm

Dia & 13.7mm Dia

LH315	Delivery Track	Composition: Peek	8 x 20/25/30mm	Detail Amendment

LH323	I.T.S. Volar Angle Locking Plate (VAL)	Cancellous Stabilization Screw	D=3.5mm, Length = 14mm-30mm (with incremental 	Detail Amendment

of 2)

LH324	I.T.S. Volar Angle Locking Plate (VAL)	Cortical Screw	D=3.5mm, Length=14mm-24mm (with incremental 	Detail Amendment

of 2)

LH326	Metaflex	Low compression screw	Diameter: 1.2, 1.4, 1.6, 2.0 - 2.5mm, Length: 10mm - 	Detail Amendment

30mm

LH327	MiniFix	Finger Mini Fixator System	One size	Detail Amendment

Changed Items for Prostheses List Report	Page 64 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LH328	MCP Finger Prosthesis "Ariadna"	Distal part, Stainless Steel	1,2 or3	Detail Amendment

LH329	PIP Finger Prosthesis 'DGT"	Proximal part Stainless Steel textured in Cobalt 	1,2 or3	Detail Amendment

LH330	MCP Finger Prosthesis "Ariadna"	Proximal part, Stainless Steel	1,2,or 3	Detail Amendment

LH331	RadioFix	Radio Fixator System	One size	Detail Amendment

LH333	Trapezio Metacarpal Prosthesis DLC	Stem - Cobalt Chrome	1 or 2	Detail Amendment

LH334	Carpal Screw	Titanium	2.5mm diameter in sizes 12mm - 20mm length	Detail Amendment

LH335	Elektra Stem	Cobalt Chromium/Hydroxyapatite coated	6-8mm	Detail Amendment

LH336	Elektra Neck	Cobalt Chromium	Extra Short, Short, Medium, Long	Detail Amendment

LH337	Memofix Staples	Nitinol	10-17mm x 12-20mm Length	Detail Amendment

LH338	Trapezio Metacarpal Prosthesis DLC	Cup, Polyethylene	One size only	Detail Amendment

LH339	Trapezio Metacarpal Prosthesis DLC	Neck Cobalt Chrome	Short, Medium or long	Detail Amendment

LH340	Poing Fix	Wrist Fixator System	One size	Detail Amendment

LH341	Wrist Fixator PFII	Wrist Fixator System	One size	Detail Amendment

LH342	MicroFix	Finger Mini Fixator System	one size	Detail Amendment

LH343	Percufix	Titanium	Diameter: 2-2.5mm, Length 22-40mm	Detail Amendment

LH344	PIP Finger Prosthesis "DGT"	Distal part, Stainless Steel texture with Cobalt Chrome	1,2 or3	Detail Amendment

LH346	Elektra Cup	Cobalt Chromium and Hydroxyapatite coating	One size only	Detail Amendment

LH347	Hemi CAP Articular Resurfacing Great Toe System	Articular Component	12mm (1-2mm x 1.5-3mm offset), 15mm (1.5-2.5mm 	Detail Amendment

x 2.5-4.5mm offset)

LH348	Hemi CAP Articular Resurfacing Great Toe System	Fixation Component	8mm x 16mm, 9.5mm x 18mm	Detail Amendment

LH358	Screws	Diamond Carpal Screws	12, 14, 16mm	Detail Amendment

LH367	Fassier-Duval Telescopic IM System Component: 	The Fassier-Dual Telescopic IM System is an 	The syste is composed fo a total of 108 rods in 9 	Detail Amendment

endomedular nail designed for patients suffering from 	different diameters per type.  The nail is

Osteogenesis Impecfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy (Ti6A14V ASTM-

Congenital Tibial Pseudoarthosis, Limb lengthening 	136) and medical grade Stainless Steel (315L, ASTM

over nail, Segmental Tumor removal and other bone 	138).  It is available in five diameters: 3.2, 4,4.8,5.6

deform

LH368	Fassier-Duval Telescopic IM System Component: 	The Fassier-Duval Telescopic IM System is an 	The system is composed of a total of 108 rods in 9 	Detail Amendment

Female	endomedular nail designed for patients suffering from 	different diameters per type.  The nail is

Osteogenesis Imperfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy (Ti6A14V ASTM-

Congenital Tibial Pseudoarthrosis, Limb lengthening 	136) and medical grade stainless steel (316L, ASTM

over nail, Segmental Tumor removal and other bone 	138).  It is available in five diameters: 3.2,4.4,8,5.6

defo

LH371	Stability Sigmoid Notch Total DRUJ system / 	The Stability Sigmoid Notch Radial Stem is made 	Small & Large	Detail Amendment

Stability Sigmoid Notch Radial Stem	from implantable Cobalt chromium (ASTM 1537-94)

with a CPTi plasma spray on the back for bone

ongrowth.  It has a fixation post about 18mm  in

length and has a single hole in its base to accept a

single cancellous bone screw.  The front of the stem

is highly polished and has raised edges to accept a

Changed Items for Prostheses List Report	Page 65 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LH372	Stability Sigmoid Notch Total DRUJ System / 	The Stability Sigmoid Notch Radial Insert is made of 	The Stability Sigmoid Notch radial Insert has two 	Detail Amendment

Stability Sigmoid Notch Radial Insert	UHMW Polyethylene.  It is formed to fit onto the 	sizes, small and large and each size has just one

Stability Sigmoid Notch Radial Plate and slides onto

the plate and secures firmly via a peripheral lock and

a ramp lock snap fit. It has a concave surface and a

smooth back.

LH373	Stability Sigmoid Notch Total DRUJ System / 	The Sigmoid Notch Radial Screw is a low profile self 	The Sigmoid Notch screw is available in 2mm 	Detail Amendment

Sigmoid Notch Screw	tapping cortical screw made of implantable CoCr.  It 	increments from 18mm - 32mm and has a diameter of

is designed to be placed bi cortical in the radius and is	approx 4mm.

introduced into the Radial stem thru a hole.  It is

placed into the stem and tightened down

LH374	AutoFIX	The Sbi AutoFIX Twin Pitch Cannulated 	2.0mm and 2.5mm Cannulated Compression Screw	Detail Amendment

Compression Screw System implants are indicated in

the treatment of fractures, nonunions, pseudarthrosis

and degenerative changes, as well as corrective

osteotomies geared towards a functionally stable

LH375	StaFIX	The StaFIX Staples are retained implants and 	6x6, 6x12,8x8, 8x16, 10x10, 10x20, 12x24	Detail Amendment

removable used primarily for the following

applications: Synthesis of fractures; Synthesis of

osteotomies; Arthrodesis; Reattachment of ligaments

ot tendons.  The aim of the StaFIX staple is to

provide a effective fixation of the bone fragments

LH390	Artelon	Co-polymer biomaterial built on well known chemical	Standard & Large	Detail Amendment

components (PUUR) - Polycaprolactone &

Urethrane Urea

LH400	Ulnar Head Implants	UlnarHead CoCr	1,2,3,4	Detail Amendment

LH401	Ulnar Head Implants	Ulnar Stem CoCr	1,2,3,4	Detail Amendment

LH402	Radial Head Implants	Radial Head	2,3,4,4N	Detail Amendment

LH403	Radial Head Implants	Radial Stem	2,3,4,4N	Detail Amendment

LH419	SBi Precise SD Distal Volar Plate	An anatomically contoured locking titanium plate and	Left Distal Volar Plate, 22 x 52mm (Narrow)	Detail Amendment

titanium alloy screw/peg system intended for 	Left Distal Volar Plate, 25 x 52mm (Standard)

fixation of distal radius fractures via open reduction	Left Distal Volar Plate, 22 x 75mm (Narrow-Long)

Left Distal Volar Plate, 25 x 75mm (Standard-Long)

Right Distal Volar Plate, 22 x 52mm (Narrow)

Right Distal Volar Plate, 25 x 52mm (Standard)

Right Distal Volar Plate, 22 x 75mm (Narrow-Long)

Right Distal Volar Plate, 25 x 75mm (Standard-Long)

LH420	SBi Precise SD Screw	An anatomically contoured locking titanium plate and	2.7mm Cortical, Locking, Self-Tapping 10-30mm	Detail Amendment

titanium alloy screw/peg system intended for 	2.7mm Cortical, Non-Locking, Self-Tapping 10-

fixation of distal radius fractures via open reduction	30mm

2.7mm Lag, Non-Locking, Self-Tapping 10-30mm

3.5mm Cortical, Locking, Self-Tapping 8-20mm

LH421	SBi Precise SD Smooth Peg (Locking)	An anatomically contoured locking titanium plate and	1.9mm Smooth Pegs, Locking 12-28mm	Detail Amendment

titanium alloy screw/peg system intended for

fixation of distal radius fractures via open reduction

LH422	SBi K-Wire	K-Wire	1.6mm	Detail Amendment

LH433	LINK STAR Ankle Prosthesis	Talar Component, cemented	xx-Small - x- large	Detail Amendment

Changed Items for Prostheses List Report	Page 66 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LH434	LINK STAR Ankle Prosthesis	Tibial Component, cemented	xx-small - x-large	Detail Amendment

LH435	LINK STAR Ankle Prosthesis	UHMWEPE Sliding Core	6- 14mm	Detail Amendment

LH436	LINK STAR Ankle Prosthesis	Talar Component, cmentless	xx- small - x-large	Detail Amendment

LH437	LINK STAR Ankle Prosthesis	Tibial Component, cementless	xx-small - x-large	Detail Amendment

LH438	LINK STAR Ankle Prosthesis	RevisionTibial Component, Cemented	Extra small - Extra large	Detail Amendment

Urogenital

LH376	Durasphere SUI	Injectable Bulking agent for Stress Urinary 	1ml	Detail Amendment

LH379	Durasphere SUI	Injectable Bulking agent for Stress Urinary 	3ml	Detail Amendment

Vascular CAG

LH004	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular Access 	Length 40cm	Detail and Benefit Amendment

Graft

LH005	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular Access 	Length 50cm	Detail and Benefit Amendment

graft

LH006	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular Access 	Length 20cm	Detail and Benefit Amendment

Graft

Lima Orthopaedics Australia Pty Ltd

Orthopaedic

LC004	Lima F2L modular neck 	Titanium	Short & Long (Straight & Angled)	Detail Amendment

LC014	Sam-Fit modular neck	Modular neck	S1-S6, L1-L6	Detail Amendment

LC019	Lima bipolar Total Hip Replacement System	Bipolar shell, inset and head 	41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 51, 52, 53, 54, 	Detail Amendment

55, 56, 57mm

LC029	H-Max Femoral neck	Modular neck	1-6	Detail Amendment

LC030	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	Detail Amendment

LC031	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	Detail Amendment

Specialist Orthopaedic

LC008	Randelli/SMR Shoulder System	Cemented Glenoid	Mini, Small, Standard	Detail Amendment

LC036	Lima RPS Tumor System	RPS Additional Spacer	40, 60, 90, 120mm	Detail Amendment

LC037	Randelli/SMR Total Shoulder	Randelli/SMR Eccentrical Adapter	0 - 6mm	Detail Amendment

LC038	Randelli/SMR Shoulder System	Uncemented Glenoid	Mini, Small, Standard	Detail Amendment

LC039	Randelli/SMR Shoulder System	Uncemented Glenoid Liner	Mini, Small, Standard	Detail Amendment

LC040	Randelli/SMR Total Shoulder	Randelli/SMR Neutral Taper	0 - 6mm	Detail Amendment

LC041	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Body with Locking Screw	One size only	Detail Amendment

LC042	Randelli/SMR Total Shoulder	Randelli SMR shoulder cemented stem	8, 10, 12, 14, 16mm	Detail Amendment

LC043	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Uncemented Stem	11-24mm	Detail Amendment

LC044	Lima RPS Tumor System	RPS Total Shoulder Replacement Stem	200, 240, 280mm	Detail Amendment

Changed Items for Prostheses List Report	Page 67 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LC045	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Head	42, 44, 46, 48, 50, 52, 54mm	Detail Amendment

LC046	Lima RPS Tumor System	RPS Humeral Head	46, 52, 58mm	Detail Amendment

LC047	Lima Humeral Nail	Stainless steel	Dia 7 - 8mm, length 200 - 300mm	Detail Amendment

LC048	Randelli/SMR Total Shoulder	Randelli/SMR shoulder revision cemented stem	200, 240, 280mm	Detail Amendment

Link Orthopaedics  Australia

Orthopaedic

LO036	Vario bipolar Cup	Shell with unmodified polyethylene plus locking ring 	44-65mm	Detail Amendment

LO106	Intramedullary Plug	P/E Intramedullary Plug	12 to 20 mm	Detail Amendment

Specialist Orthopaedic

LO100	LINK Arthrodesis Pin	Cobalt Chromium	90mm	Detail Amendment

LO101	LINK Arthrodesis Pin	Tilastan	90mm	Detail Amendment

LO147	Bone Cerclage Wire	Cerclage Wire	Length 470mm, Diameter sizes of 0.4mm, 0.5mm, 	Detail Amendment

0.6mm, 0.7mm, 0.8mm. Packet size of 10

LO148	Thabe Titanium Cerclage Band with Lock	Thabe Titanium Cerclage Band is crimped at the lock	6.0mm wide, 240mm	Detail Amendment

LO149	Bone Cerclage Band with Lock	The Cerclage Band with a locking mechanism consists	Complete, length with lock: 165mm, width 5mm	Detail Amendment

of a band, manufactured from stainless steel, 165mm

long and 5mm wide and a lock

LMA PacMed Pty Ltd

Ear, Nose & Throat

PM028	Stapes	Bell/Aerial/Angular Prosthesis/Piston  - Gold/Titanium	1.75 - 7.00mm	Detail Amendment

PM032	K-Piston	Gold/Titanium	ID 0.4,0.6mm	Detail Amendment

PM033	Montgomery Thyroplasty Implant System	Silicone	6,7,8,9,10,11,12	Detail Amendment

PM057	Provox Voice Prosthesis	Long term indwelling; Silicone	4.5,6,8,10,12.5mm	Detail Amendment

PM065	Tympo Vent	Otological ventilation tubes, short medium term, 	Length 2.2	Detail Amendment

Donaldson fluoroplastic/blue

PM066	Tympo Vent	Otological ventilation tubes, straight tube	Length 7.0 - 7.2mm	Detail Amendment

PM068	Tympo Vent	Otological ventilation tubes, short medium term, star 	Length 2.8	Detail Amendment

tube, silicone

PM072	Tympo Vent	Otological ventilation tubes, short medium term, 	Length 12.4	Detail Amendment

shepard with tail, silicone/blue

PM074	Tympo Vent	Otological ventilation tubes,  paparella with tab	Length 2.2mm	Detail Amendment

PM075	Tympo Vent	Otological ventilation tubes, collar button, tubingen 	Length 1.5mm	Detail Amendment

type gold, gilded silver

PM079	Tympo Vent	Otological ventilation tubes, t-tube	Length 6 - 12mm	Detail Amendment

PM083	Tympo Vent	Otological ventilation tubes, long term, collar button -	Length 1.5	Detail Amendment

tubingen type, titanium

Changed Items for Prostheses List Report	Page 68 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

PM086	Tympo Vent	Otological ventilation tubes, short medium term, 	Length 1.6	Detail Amendment

reuter bobbin without holes, titanium

PM088	Tympo Vent	Otological ventilation tubes, donaldson, reuter 	Length 1.5mm - 9.8mm	Detail Amendment

bobbin, shepard

PM089	Tympo Vent	Otological ventilation tubes, short medium term, 	Length 1.8	Detail Amendment

bevel bobbin, fluoroplastic/blue

PM090	Tympo Vent	Otological ventilation tubes, armstrong	Length 3.8 - 10.0mm	Detail Amendment

PM091	Tympo Vent	Otological ventilation tubes, short medium term, 	Length 2.0	Detail Amendment

collar button, fluoroplastic/blue

PM102	Tracheal Cannula System	Short and long term Cannula (Medical Grade Silicone)	Diameter 9-13mm; Length 37m & 101mm	Detail Amendment

PM103	Tracheal Cannula System	Cannula Speaking Valves (Medical Grade Plastic)	4-10	Detail Amendment

PM104	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, Tapered 	Paediatric/Standard - Clear/Radioplaque	Detail Amendment

and Hebeler in clear and radiopaque

PM106	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, Tapered, 	ID 8/10, 10/13, 12, 15, 18mm; Length 76, 77, 79, 	Detail Amendment

Hebeler and HMS, in clear and radiopaque	159, 163mm

PM107	Laryngeal Keel	12-16mm Keel	Detail Amendment

PM115	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, Tapered, 	ID 7, 9, 11mm; Length 100, 110mm	Detail Amendment

Hebeler and HMS

PM117	Passy-Muir Speaking Valve	Tracheostomy and Ventilator	15mm I.D./ 22 & 23mm O.D.	Detail Amendment

Specialist Orthopaedic

PM012	Orthofix External Fixation System Ankle Fixator	Anodised aluminium and stainless steel	One size only	Detail Amendment

PM013	Orthofix External Fixation System Pennig Wrist 	Anodised aluminium and stainless steel	One size only	Detail Amendment

PM061	Orthofix External Fixation System Elbow Fixator	Anodised aluminium and stainless steel	One size only	Detail Amendment

PM062	Orthofix External Fixation System Hybrid Fixator	Anodised aluminium and stainless steel	One size only	Detail Amendment

PM063	Orthofix External Fixation System Knee Fixator	Anodised aluminium and stainless steel	One size only	Detail Amendment

PM092	Orthopaedic External Fixation System - Radiolucent 	Complete System Sterile	One size only	Detail Amendment

Wrist Fixator

PM095	Orthopaedic External Fixation System	Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 2.0mm, 	Detail Amendment

Total Length 40 - 260mm, Thread Length 15 -

PM097	Orthopaedic External Fixation System	Osteotite Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 2.0mm, 	Detail Amendment

Total Length 40 - 260mm, Thread Length 15 - 90mm

PM098	Orthopaedic External Fixation System - Xcaliber 	Metadiaphyseal Fixator	One size only	Detail Amendment

External Fixator

PM099	Orthopaedic External Fixation System - Xcaliber 	Articulated Ankle Fixator	One size only	Detail Amendment

External Fixator

PM100	Orthopaedic External Fixation System - Xcaliber 	Hybrid Fixator	One size only	Detail Amendment

External Fixator

PM108	Orthofix Limb Reconstruction System	Adult and paediatric - Short, Standard and Long	Detail Amendment

PM109	Orthofix External Fixation Systems	MiniRail System	Short, Standard, Long and Articulated Horizontal and	Detail Amendment

Vertical Axis

PM110	Orthofix External Fixation Systems	Pennig Minifixator	Short, Standard, Long	Detail Amendment

Changed Items for Prostheses List Report	Page 69 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

PM111	Gotfried PC.C.P.	Internal Hip Compression Plate	One size only	Detail Amendment

PM112	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Neck L90 - 140mm; Primary Locking L20 - 75mm	Detail Amendment

PM113	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Shaft L31-43mm:	Detail Amendment

PM114	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Revision Locking L20-75mm	Detail Amendment

PM116	ISKD Internal Limb Lengthening System	Titanium Alloy	Diameter 12.5 - 14.5mm	Detail Amendment

PM118	Orthofix eight-Plate	Guided Growth Plate for correction of angular 	12mm; 16mm	Detail Amendment

deformities, Titanium, two hole plate, figure eight

shaped

LMT Surgical Pty Ltd

Specialist Orthopaedic

LM001	TriMed Wrist Fixation System	Washer	.	Detail Amendment

LM002	TriMed Fixation System	Plates, Stainless Steel	Various sizes	Detail Amendment

LM005	TriMed Fixation Systems	Multiple stainless steel wire forms	various sizes	Detail Amendment

LM007	TriMed Fixation System	Bone Screw	Various	Detail Amendment

LM008	Spider and Mini-Spider Limited Wrist Fusion System	Stainless Steel	8 hole spider plate, 6 hole mini-spider plate	Detail Amendment

LM009	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 2mm	Detail Amendment

LM010	Universal Total Wrist Implant System (UTW)	Consists of 3 parts, proximal radius component made	Radial Component - Small - left & right, Medium - 	Detail Amendment

of cobalt/chrome, distal titanium plate, titanium 	left & right, Large - left & right; Carpal Component -

screws and polyethylene joint surface	Small, Medium, Large; Polyethylene Carpal

Component - Small - Standard, +1, +2,  Medium -

Standard, +1, +2, Large - Standard, +1, +2; Bone

Screws - 4.

LM011	Ascension Finger Joint Replacement	Pyrocarbon, distal or proximal	05D/05P/10D/10P/20D/20P/30D/30P/ 	Detail Amendment

40D/40P/50D/50P

LM012	Ascension MCP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P, 20D/20P, 30D/30P, 40D/40P, 50D/50P,	Detail Amendment

LM014	Trimed Marked K-Wire	Stainless Steel	Diameter 0.9 - 1.1mm	Detail Amendment

LM015	Kinetik Great Toe Implant	Phalangeal Component made of titanium alloy 01-	0,1,2,3	Detail Amendment

2010, 01-2012, 01-2014, 01-2016

LM016	Kinetik Great Toe Implant	Metatarsal Component  made of chrome cobalt 01-	1, 2, 3 Right & Left	Detail Amendment

2002, 01-2004, 01-2006, 01-2003, 01-2005, 01-2007

LM018	Ascension Silicone Finger joint replacement	MCP/PIP moulded silicone finger joint	Various	Detail Amendment

LM028	Ascension pyrocarbon carpal implant	Pyrocarbon carpal prostheses	Multiple sizes	Detail Amendment

LM029	Kompressor	Titanium compression screw	10-34mm	Detail Amendment

LM031	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma coating	1-4	Detail Amendment

LM033	Trimed Wrist Fixation System, Volar Peg Plate	Stainless Steel	Volar Peg Plate 3-hole, Right & Left, 4 and 5 Peg; 	Detail Amendment

Volar Peg Plate 5-hole, Right & Left, 4 and 5 Peg

LM041	Trimed Bearing Plate, Fixation Pegs	The fixation pegs are made of medical grade 316 	Pegs - 2.3 x 10-34mm Threaded or unthreaded pegs	Detail Amendment

stainless steel

Changed Items for Prostheses List Report	Page 70 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LM043	Ascension Radial Head	The Ascension Radial Head is modular with a 	Head Size - 20 Short and Long, 22 Short and Long, 24	Detail Amendment

Pyrocarbon Head and Metal Stem which is made of 	 Short and Long; Stem Size - 01/02/03/04

Cobalt Chromium Alloy compliant with  ASTM

F1537-00, also available in all CoCr

LM048	Ascension Radial Head Locking Plate and screws	Titanium pre-formed anatomical radial head Screws	10mm - 40mm	Detail Amendment

LM049	BioTech Compression Screws	Titanium and Stainless compression screws	1.7-10mm diameter/10-100mm length	Detail Amendment

LM050	Biotech Easy Lock Osteosystem	Titanium and PEEK	2-10 holes  straight	Detail Amendment

LM051	Biotech Easy Lock System	Easy Lock Plating System	Various	Detail Amendment

LM052	Ascension Compression Screw	Titanium Compression Screw	2-5mm diameter ; 12 - 40mm length	Detail Amendment

LM053	Osteotec Silicone PIP Joint Replacement	2 component hinged joint replacement for the 	5 - 50	Detail Amendment

proximal interphalangeal joint

LM054	Argomedical Malleolar Plate	Titanium	6 - 10 Hole Plates	Detail Amendment

LM056	Ascension DRUJ Ulna Head, Implant System	Cobalt chromium stem with PyroCarbon or Cobalt 	0, 1, 2, 3, 4	Detail Amendment

Chromium Articular Surface

LM057	Ascension Radial Head Locking Plate and Screws	Titanium pre-formed anatomical radial head plate	small and large	Detail Amendment

LM060	BioTech Xpode 4	PEEK curved and round plate	Mini 1, 2, 3 & 4	Detail Amendment

LM061	BioTech Xpode 4	Screws titanium	6 - 70mm length	Detail Amendment

LM062	ArgoMedical Pedofix	Titanium fixed angle plate for foot surgery	2.7mm	Detail Amendment

LM063	ArgoMedical Pedofix	Titanium screws	2.7mm x 8 - 28mm Length	Detail Amendment

LM064	TriMed Ulnar Osteotomy System	Stainless Steel Ulnar Osteotomy Plate	5 - 9 holes	Detail Amendment

LM066	TriMed Olecranon Sled	Washer	one size	Detail Amendment

LM068	Normed fracture fixation plates	Titanium plates, various sizes and shapes	Various	Detail Amendment

LM069	Normed Foot screws	Titanium plates, various sizes and shapes	multiple	Detail Amendment

LM070	Surgicraft Ligament Augmentation Reconstruction 	Woven Polyester Prosthetic Ligament	Various	Detail Amendment

System

LM072	Trimed Hook Plate	stainless steel 4 and 6 hole plates	4 and 6 holes/right and left	Detail Amendment

LM074	Elix (plate)	Anatomically shaped plate with PEEK inserts	4 Hole, right and left plate.	Detail Amendment

LM075	Surgicraft Bone Screws	Surgicraft Bone Screws	2-4mm diameter/10-40mm length	Detail Amendment

LM077	Memometal Memory Staples	Memory Metal Implants	10 mm to 25 mm	Detail Amendment

LM078	Ascension HRA - Humeral Resurfacing Arthroplasty	A anatomic semi constrained, monobody device 	40mm x 16mm to 56mm x21mm	Detail Amendment

intended for resurfacing of the humeral head.

LM081	Surgicraft Washers	Fixation Washers	0.5-3mm	Detail Amendment

LM082	Fixos Screws	Bone Fixation Screws	2mm diam. X11mm lenth to 2mm x 16mm	Detail Amendment

LM083	Memometal Ivory Trapezo - metacarpal cement less 	A cement less Trapezo- Metacarpal prosthesis.	Cup sizes 9-11 mm, Head Short medium and long, 	Detail Amendment

prosthesis	Stem size 1,2,3,4.

LM085	ABC Prosthetic Ligament	Cruciate prosthesis carbon fibre/polyester, ABC 	12.5cm - 18.5cm; ABC Carbon Polyester & ABC 	Detail Amendment

Carbon/Polyester Medial/Lateral Collateral Ligament,	Polyester/Polyester - one size only

ABC Polyester/ Polyester Medial/Lateral Collateral

Ligament

Changed Items for Prostheses List Report	Page 71 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

LM086	Surgicraft	Fixation Bollard	One size only	Detail Amendment

LM088	NewClip Variable Angle Periarticular Fixation Plates	Stainless steel and titanium plates	size 1 to 8	Detail Amendment

LM089	BioComposites Little Grafter	An absorbable cannulated compression screw 	4mm diameter varying lengths 13mm to 27mm	Detail Amendment

providing fixation for small bone fractures

LM090	Memometal Anchor Fixation System	Anchors	Various	Detail Amendment

LM093	New Clip Titanium Bone Screws	Titanium Screws for fixation of plates to bone	4 mm diam x10mm length to 4mm 32mm and 4.5mm 	Detail Amendment

10mm to 35mm

LM094	CCI Evolution	Total ankle replacement	standard, standard plus, large, large plus	Detail Amendment

LM095	Hinged finger joint	Hinged finger joint replacement	5 sizes screw component - 4 x 18mm, 5 x 18mm, 6 x 	Detail Amendment

20mm, 7 x 22mm, 8 x 25mm; 1 size pivot component

LSS Surgical Pty Limited

Neurosurgical

LS027	MATRIS Cervical Plate System	Cervical Plate 57mm to 80mm	> 55	Detail Amendment

Mathys Orthopaedics Pty Ltd

Orthopaedic

MA018	Intramedullary Plug	Cement Restricter	Small to Extra Large	Detail Amendment

MA023	RM Classic Acetabular Cup, Metal on Metal	Titanium with lugs and CoCr bonded bearing surface 	46mm - 68mm	Detail and Benefit Amendment

plus UHMWPE sandwich

MA025	Mathys Bipolar Femoral Head	Stainless steel with fixed UHMWPE insert	28mm Inner diameter, 42-58mm outer diameter	Detail Amendment

MA031	RM Classic Acetabular Cup	Titanium with lugs bonded bearing surface 	46mm - 68mm	Benefit Amendment

MA472	RM Pressfit Cup	Titanium bonded bearing surface UHMWPE 	46-64mm	Benefit Amendment

MA473	RM Pressfit Acetabular Cup, Metal on Metal	Titanium and CoCr bonded bearing surface plus 	46-64mm	Detail and Benefit Amendment

UHMWPE sandwich

MA484	Ceramys Ceramic Revision Femoral Head	Ceramic, zirconia alumina combination, supplied with	28 L, 28 M, 28 S, 28 XL, 32 L, 32 M, 32 S, 32 XL, 	Detail Amendment

titanium taper sleeve	28, 32

MA485	Ceramys Large Ceramic Revision Femoral Head	Ceramic, zirconia alumina combination, large 	36 L, 36 M, 36 S, 36 XL, 36	Detail Amendment

diameters, supplied with titanium taper sleeve

MA500	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	Detail Amendment

MA501	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	Detail Amendment

Specialist Orthopaedic

MA081	Finger	Prosthesis - distal, proximal, standard, large	L18 D4.0 - L26 D6.0	Detail Amendment

MA448	Affinis Total Shoulder Prosthesis	Head - CoCr; Stem - Titanium; Glenoid - UHMWPE	Diameter 39, 41, 43, 45, 47, 49, 51, 53mm	Detail Amendment

MA449	Affinis Total Shoulder Prosthesis	Stem - CoCr; Stem - Titanium; Glenoid - UHMWPE	Cemented 6, 9, 12, and 15mm;Cementless 6, 7.5, 9, 	Detail Amendment

10.5, 12, 13.5 and 15mm

MA450	Affinis Total Shoulder Prosthesis	Glenoid - CoCr; Stem - Titanium; Glenoid - 	Size 1 to 4 Cemented	Detail Amendment

MA479	Affinis Fracture - Stem	Affinis Fracture Stem	6/125, 9/125, 12/125, 12/125, 9/200, 12/200	Detail Amendment

MA480	Affinis Fracture - Head	Affinis Fracture Head	42, 45, 48	Detail Amendment

Changed Items for Prostheses List Report	Page 72 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MA481	Affinis Fracture - Central Part	Affinis Fracture - Central Part	Part 1 - diam 15.5, Part 2 - diam 18	Detail Amendment

Mayo group

General Miscellaneous

CM007	Vascular Ports - Implantable Vascular Access System	Arrow Model No.'s VARRX AP01007, AP06010, 	Ports - H15.5mm x L28.6mm, Weight 9.2grams, 	Detail Amendment

AP06013, AP06014, AP06015, AP06018, AP06520.	Internal Vol. 0.8ml.  Catheter 75cm

Titanium Port with self sealing silicone septum and

either attached or detached silicone catheters. Include

relevant size Introducer Kit.

CM008	Vascular Ports - Implantable Vascular Access System	Arrow Model No.'s   AP6528, AP06530, AP06535, .	Ports - H15.5/17.1mm x L28.6mm, Weight 	Detail Amendment

Double Titanium ports with self sealing silicone 	19.9grams, Internal Vol.  0.8 - 1.0ml each side.

septums and either attached or detached dual lumen

silicone catheters. Include relevant sized Introducer

CM009	Low Profile Ports -  Implantable Vascular Access 	Arrow Model No.'s VARRX AP01040,  AP06046, 	Ports - H10mm, L25mm, Weight 9grams, Internal 	Detail Amendment

System	AP06016, AP06020, AP06012, AP06022, AP06025.	Vol. 0.3ml.  Catheter75cm

Plastic low profile ports with self sealing silicone

septum and either attached or detached silicone

catheters. Include relevant sized Introducer Kit.

CM010	Low Profile Ports -  Implantable Vascular Access 	Arrow Model No.'s VARRX AP06036, AP06040, 	Ports - H10mm, L25mm, Weight 9grams, Internal 	Detail and Benefit Amendment

System	AP06042, AP06045.  Titanium Low Profile Ports 	Vol. 0.3ml.  Catheter75cm

with self sealing silicone septum and either attached

or detached silicone catheters.  Include relevant sized

Introducer Kit.

Vascular CAG

CM015	ARROWg+ard Blue Haemodialysis Catheters	Haemodialysis Catheters (of various lengths, sizes 	CS-22122 - 12Fr 16cm, Dual Lumen	Detail Amendment

and lumen confiurations) with antimicrobial 	CS-22123 – 12Fr 16cm, Triple Lumen

impregnation (chlorhexidine and silver sulphadiazine) 	CS-25122 – 12Fr x 20cm, Dual Lumen

on the external surface of the polyurethane catheter 	CS-22142CF – 14Fr x 15cm, Dual Lumen, Curved,

Firm

CS-22142F – 14Fr x 15cm, Dual Lumen Firm

CS-25122 – 12Fr x 20cm, Double Lumen

CS-25123 – 12Fr x 20cm, Triple Lumen

CS- 25142CF – 14Fr x 20cm, Double Lumen, Curve,

Firm

CS-25142F – 14Fr x 20cm, Double Lumen, Firm

CS-26142F – 14Fr x 25cm, Double Lumen, Firm

CU-22122 – 12Fr x 16cm, Double Lumen, Curved

CU-23122 – 12Fr x 13cm, Double Lumen, Curved

CU-25122 – 12Fr x 20cm, Double Lumen, Curved

CM016	ARROWg+ard Blue Single Lumen Central Venous 	A polyurethane central venous catheter with Blue 	CS-24301 - 16g x 20cm, Single Lumen, Adult	Detail Amendment

Catheters	FlexTip (of various lengths, sizes and lumen 	CS-24306E-16g x 16cm, Single Lumen Adult

configurations) with antimicrobial impregnation 	CS-24701 - 14g 20 cm, Single Lumen Adult

(chlorhexidine and silver sulphadiazine) on the 	CS-24706E -14g x 16cm, Single Lumen, Adult

external surface of the polyurethane catheter body.

Changed Items for Prostheses List Report	Page 73 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

CM017	ARROWg+ard Four & Five Lumen Central Venous 	A polyurethane central catheter with Blue FlexTip 	CS-22854E - 8.5 Fr x 16cm, Quad Lumen	Detail Amendment

Catheters	(of various lengths, sizes and lumen configurations) 	CS-25854E - 8.5Fr x 20cm, Quad Lumen

with antimicrobial impregnation (chlorhexidine and 	CS-22855 - 8.5 x 16cm, Five Lumen

silver sulphadiazine) on the external surface of the 	CS-25855 - 8.5Fr x 20cm, Five Lumen

polyurethane catheter material

CM018	ARROWg+ard Blue Double & Triple Lumen Central 	A polyurethane central venous catheter with Blue 	CS-24402 - 4Fr x13cm, Dual Lumen	Detail Amendment

Venous Catheters	FlexTip (of various lengths, sizes and lumen 	CS-22502 - 5FR x 5cm, Dual Lumen

configurations) with antimicrobial impregnation 	CS-25402 - 4Fr x 8cm, Dual Lumen

(chlorhexidine and silver sulphadiazine) on the 	CS-25502 - 5Fr x 12cm, Dual Lumen

external surface of the polyurethane catheter material	CS-22702E - 7Fr x 16cm, Double Lumen

CS-26702 - 7Fr x 20cm, Double Lumen

CS-27702E - 7Fr x 20cm, Double Lumen

CS-25553 - 5.5Fr x 8cm, Triple Lumen

CS-22703E - 7Fr x 16cm, Triple Lumen CS-26553 -

5.5Fr x 13cm, Triple Lumen

CS-24703E - 7Fr x 30cm, Triple Lumen

CS-25703E - 7Fr x 20cm, Triple Lumen

CM019	ARROWg+ard Blue Plus QUAD Lumen Central 	Central Venous Catheters (of Various lengths, sizes 	CS-42854E - 8.5Fr x 16cm, Quad Lumen	Detail Amendment

Venous Catheters	and lumen configurations with antimicrobial 	CS-45854E - 8.5Fr x 20cm, Quad Lumen

impregnation on:

1. The external indwelling surface of catheter material

(chorhexidine and silver sulphadiazine)

2. The entire internal fluid pathway including

catheter, extension-lines and hubs (chlorhexidine

CM020	ARROWg+ard Blue Plus Double & Triple Lumen 	Double & Triple  Lumen Central Venous Catheters 	CS-45802E - 8 Fr x 20cm, Dual Lumen	Detail Amendment

Central Venous Catheters	(of various lengths sizes and lumen configurations) 	CS-46702E - 7Fr x 20cm, Dual Lumen

with antimicrobial impregnation on:	CS-47702E - 7Fr x 20cm, Dual Lumen

1. The external indwelling surface of catheter material 	CS-42703E - 7Fr x 16cm, Triple Lumen

(chlorhexidine and silver sulphadiazine)	CS-45703E - 7Fr x 20cm, Triple Lumen

2. The entire internal fluid pathway including

catheter, extension-lines and hubs (chlorhexidine

CM021	Arrow double lumen pressure injectable peripherally 	Arrow double lumen pressure injectable PICC 	5Fr x 50cm, Double Lumen	Detail Amendment

inserted central catheter (PICC) set	(peripherally inserted central catheter) set

CM022	Arrow single lumen pressure injectable peripherally 	Single lumen pressure injectable peripherally inserted 	4 Fr x 50cm, Single lumen	Detail Amendment

inserted central catheter (PICC) set	central catheter (PICC) set

Medacta Australia Pty Ltd

Orthopaedic

MU021	Medacta Bipolar Head	Stainless Steel, with UHMWPE insert	For ballhead diameter 28mm- 	Detail Amendment

42,44,46,48,50,52,54,56 mm.  For ballhead diameter

22.2mm - 39,40,41,42,43,44,45,46,48,50,52mm

Medartis

Orthopaedic

EO027	ESOP HA	ESOP Femoral Stem Diaphyseal Ti polished	Size 9-15	Detail Amendment

Changed Items for Prostheses List Report	Page 74 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

EO044	MRP-TITAN Neck Segment	Body without fin with locking screw Cone 12/14, 	K, M, L	Detail Amendment

body with fin with locking screw Cone 12/14, body

with trocanter with locking screw Cone 12/14, special

implant for trocanter

Specialist Orthopaedic

EO008	Aptus Hand &Foot Plates	Aptus Hand &Foot Plates	1.2/1.5/2.0/2.3/2.5/2.8; straight plate 4-16 hole; 	Detail Amendment

curved 16 hole; offset 16 hole; T plate, Y plate, L

plate 4-10 hole; T plate offset 11-12 hole; grid-

rectangular, trapezoid, angled, square 4 hole-12 hole,

1 hole plate and Wing Plate

EO009	Aptus Radius Locking plates	Aptus Radius Locking plates (fracture plate, 	2.5mm locking plates, 1.6-2.00mm thickness	Detail Amendment

correction plate volar, correction plate long volar,

correction plate with flap volar, correction plate long

with flap volar, frame plate volar, frame plate long

volar, H plate dorsal, Adaptive Plate; Radial Head

Plate; 4 Corner Plate

EO032	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip  / 	Auto Compressive long L10 - L34	Detail Amendment

Cannulated

EO033	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	FSA 2 part 9-21/14-26	Detail Amendment

EO034	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Weil self tapping L9 - L15	Detail Amendment

EO035	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip / 	Arthrodesis large diameter L28 - L40	Detail Amendment

Medical & Optical Instruments Australia Pty Ltd

Plastic and Reconstructive

MO002	Martin Mandibular Fracture System	2.7mm Threadlock System, angled and straight 	=>3mm thick, 2.7mm threadlock system	Detail Amendment

plates, titanium

MO134	Martin Osteosynthesis System	Screw Fami Anchor Titanium	1.5 - 2.0mm Diameter 8 - 15mm	Detail and Benefit Amendment

MO135	Martin Internal Distraction System	Titanium Distractor	10 to 20mm	Detail Amendment

MO236	Martin Rigid External Distraction System II (RED II)	RED II Aluminium Cranium Frame and Carbon Fibre 	One Size Only	Detail Amendment

Rods

MO239	Intra-Oral Distraction System	Titanium Distraction Device. Complex Midface and 	15 - 60mm distraction length	Detail Amendment

Reconstructive

MO300	Martin Level One Fixation SonicWeld and Resorb x	Mesh PDLLA (resorbable)	0.5 to 0.8mm thick, 1 to 10cm2 area	Detail Amendment

MO305	Martin Level One Fixation SonicWeld and Resorb x	Mesh PDLLA (resorbable)	0.5 to 0.8 thick, 26 to 50cm2 area	Detail Amendment

Specialist Orthopaedic

MO145	Martin Ulna Head prosthesis	Stem Titanium	Small, medium and large,2mm,4mm and 17mm collar	Detail Amendment

MO146	Martin Ulna Head prosthesis	Ceramic Head, Chromium Cobalt	Small, medium and large	Detail Amendment

MO147	Acumed Shoulder Joint Prostheses 	Titanium	130 to 280mm stem,13 to 15mm body, 16 to 23mm 	Detail Amendment

head.

MO150	Acumed Congruent Plate System	Foot & Ankle Plate, Titanium	4 to 9 Hole	Detail Amendment

MO153	Acumed Congruent Plate System	Screw Titanium	2.1, 2.7, 3.5, 4.0mm diameter, 6mm to 28mm length	Detail Amendment

Changed Items for Prostheses List Report	Page 75 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MO154	Polarus Proximal Humeral Fixation System	Polarus Proximal Humeral Rod Standard/Plus Titanium	150 - 300mm length	Detail Amendment

MO156	Polarus Proximal Humeral Fixation System	Polarus Screws Cancellous/Cortical Titanium	12.5 to 60mm length	Detail Amendment

MO158	Polarus Humeral Rod System	Polarus Washer	3.5mm	Detail Amendment

MO159	Polarus Humeral Rod System	Polarus Ulna Rod Titanium	210 to 270mm length	Detail Amendment

MO161	Polarus Humeral Rod System	Polarus Radius Rod Titanium	190 to 230mm length	Detail Amendment

MO162	Tension Band Pin	Stainless Steel	50 to 90mm	Detail Amendment

MO165	Osteo Clage Cable System	CoCr, Stainless Steel Cable Sleeve	2mm	Detail Amendment

MO166	Osteo Clage Cable System	CoCr, Stainless Steel Cable	850mm	Detail Amendment

MO177	Acutrak Fixation Screw	Wire Kirschner Stainless Steel	0.70mm to 1.6mm diameter, 4 to 9in (10.16 to 	Detail Amendment

22.86mm) length

MO178	Acutrak Fusion Screw	Titanium	12 - 37mm	Detail Amendment

MO179	Acutrak Fixation Screw	Acutrak Compression Screw Titanium	8mm to 50mm	Detail Amendment

MO180	Acutrak Headless Compression Screw	Acutrak 4/5, 5/5, 6/7 Plus, cannulated, headless, 	25 - 80mm	Detail Amendment

variabled thread

MO194	Acumed Congruent Plate System	Elbow plate  titanium, locking radial head	Locking radial head, 3 hole std curve 31mm, 5 hole 	Detail Amendment

std curve 46mm, 3 hole curve 31mm, 5 hole curve

MO200	Polarus Proximal Humeral Fixation System	End cap, titanium	Only size only	Detail Amendment

MO202	Acumed Bone Plate	MCP Fusion Plate - Titanium	4 Hole left and right	Detail Amendment

MO208	Acumed Bone Plate	Wrist Fusion Plate - Titanium	Standard, Mini	Detail Amendment

MO209	Acumed Congruent Plate System	Threaded K-Wire - Titanium	WT-1606STT: Length 15cm x Diameter 0.62"; WT-	Detail Amendment

0906STT: Length 15cm x Diameter 0.35"; WS-

2408STT length 20.32cm x Diameter 0.24cm

MO211	Acumed Locking Clavical Plating System	Locking Clavical Plates	Locking mid shaft superior, locking distal superior, 	Detail Amendment

locking anterior

MO243	Polarus Proximal Humeral Plate	Titanium Humeral Plate	Left, Right, Large, Small, Two Part	Detail Amendment

MO249	ACU- LOC Distal Radius Plate System	Threaded, non-threaded, locking, non-locking screw, 	2.3mm / 3.5mm diameter, 14-32mm length	Detail Amendment

peg, Titanium

MO257	Acu-Loc Distal Radius Plate System	Distal radius plate, titanium	Volar, Dorsal, Distal Ulna, Standard, Long, Extra 	Detail Amendment

long, wide, narrow, left, right, extra-articular

MO270	Acumed Total Radial Head	Head	20-28mm	Detail Amendment

MO271	Acumed Total Radial Head	Stem	6-10mm diameter, 0-8mm neck height	Detail Amendment

MO272	Acumed Tap Loc Elbow plates	Variable angle locking plate system	Medial / Lateral, lft and right, Olecranon / Proximal 	Detail Amendment

Ulna left and right, coronoid 6-20hole

MO274	Acutrak 2	Headless Compression screw	8mm-50mm lengthmicro, mini, standard	Detail Amendment

MO278	Acumed Locking Calcaneal Plates	Locking Plate, Calcaneal, Titanium	Small, Medium & Large, Left & Right	Detail Amendment

Changed Items for Prostheses List Report	Page 76 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MO279	Anatomic Midshaft Forearm Plates	Internal Fixation Plate Anatomic Forearm, Ulna & 	Midshaft Ulna Plates: 6 hole 80mm, 8 hole plate 	Detail Amendment

Radius	100mm, 10 hole 130mm, 12 hole, 160mm, Midshaft

ulna shortening plates: 6 hole 80mm, Midshaft

Dorsolateral Radius Plates: 6 hole (80mm), 8 hole

(100mm), 10 hole 9130mm) 12 hole (160mm);

Midshaft Volar Radius Plates: 6 hole (80mm), 8 hole

(100mm), 10 hole (130mm), 12 hole (160mm)

MO280	Acumed Fibula Rod System	Intramedullary Nail, fibula lower limb specific	3.00mm & 3.6mm diameter left and right specific 	Detail Amendment

rods with lengths of 110mm, 145mm, 180mm

Medical Device Alliance Pty Ltd

Plastic and Reconstructive

MP044	Silimed Tissue Expander	Double chamber, textured, magnetic, with suture tabs.	470mm-780mm	Detail Amendment

Catalogue number: 20799

Specialist Orthopaedic

MP011	Phalangeal Joint Implant	Flexible monoblock implant to restore finger 	00-7	Detail Amendment

articulation, 2001

Medical Specialties  Australia Pty Ltd

General Miscellaneous

MS021	Medical Specialties "Walkmed Infusion Pump 	Ambulatory Infusion Pump System, Administration 	Walkmed Infusion Pump System	Detail and Benefit Amendment

System" Powered Drug Infusion System and 	Sets and Accessories

Ancillary Equipment (McKinley, USA)

MS030	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	10 x15 cm TiMESH light	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

MS032	TiMESH extralight	Prosthetic warp-knitted fabric made of monfil 	10 x 15cm TiMESH extralight	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

MS033	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	15 x 15cm TiMESH light	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

MS034	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	15 x15cm TiMESH extralight	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

MS035	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH light	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

MS036	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH extralight	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

MS038	TiMESH Extra Large	Prosthetic warp-knitted fabric made of monofil 	Extra Large TiMESH	Detail Amendment

polypropylene threads with an encapsulating titanic

coating

Changed Items for Prostheses List Report	Page 77 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MS043	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic 	TiPLUG	Detail Amendment

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating titanic

MS044	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic 	TiPATCH	Detail Amendment

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating titanic

Neurosurgical

MS003	Sterile Hydrocephalic Shunts	Plastic/magnetic. Programmable valve. Programmer 	3, 8 settings	Detail Amendment

kit and shunts kit.

Vascular CAG

MS009	Catheterisation kits(Horizon Medical)	Central Venous Catheter - right atrial catheter, silicone	2.7 -14F	Detail Amendment

MS010	Catheterisation kits(HDC corp)	Central Venous Catheter - right atrial catheter, silicone	2 - 12F	Detail Amendment

MS014	Injection/Infusion Ports Sterile	Plastic/titanium, single lumen	5-15F	Detail Amendment

MS015	Injection/Infusion Ports Sterile	Plastic/titanium, dual lumen	10, 10.5, 12F	Detail Amendment

MS016	Injection/Infusion Ports Sterile	Plastic/titanium, paediatric	5, 6, 7,8, 9.6F	Detail Amendment

MS052	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided 	Diameter 22 - 46mm, Length 103 - 179mm	Detail and Benefit Amendment

Polyester PFTE impregnated Suture Dual Sheath

Delivery System

MS053	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided 	Diamter 22 - 46mm,  Length 180 - 271mm	Detail and Benefit Amendment

Polyester PFTE impregnated Suture Dual Sheath

Delivery System

Medical Vision Australia Pty Ltd

Ear, Nose & Throat

MF001	Endoxane	Silicone tracheal and bronchial stents - Dumon	10 - 20mm diameter, 20 - 60mm length	Detail Amendment

MF002	Tracheobronxane Silmet	Nitinol wire - tracheal and bronchial stenets - Dumon	12 - 20mm diameter, 20 - 90mm length	Detail Amendment

General Miscellaneous

MF003	Steritalc	Sterile granules of talc implanted in pleural space to 	3 grams & 4 grams	Detail Amendment

act as permanent adhesive

Ophthalmic

MF034	Sphere	Orbital Sphere Models 6316, 6326, 6327, 6317 and 	Orbital Sphere Models 6316: 14mm, 6326: 16mm, 	Detail and Benefit Amendment

6322 8702-8704. COI implant, models 7222, 7223 & 	6327: 18mm, 6317: 20mm, 6322: 22mm, 8702:

80026. MCOI implant, models 7207 - 7209 Quad 	19mm, 8703: 21mm, 8704: 23mm, COI Implants

Motility Implants 9866 - 9868 & 80022	7222: Approx 4ml, 7223: Approx 5ml, 80026:

Approx 6ml, MCOI 7207: Approx 3ml, 7208:

Approx 4.2ml,  7209: Approx 5.6ml, QUAD

Plastic and Reconstructive

MF006	Pip Breast Implant Gel Filled	Reconstruction Anatomical Textured	180cc to 600cc	Detail Amendment

MF007	Pip Breast Implant Gel Filled	Asymmetric Textured Right	200cc to 450cc	Detail Amendment

MF008	Pip Breast Implant Gel Filled	Asymmetric textured Left	200cc to 450cc	Detail Amendment

Changed Items for Prostheses List Report	Page 78 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MF011	Pip Breast Implant Gel Filled	Round textured Standard profile	85cc to 705cc	Detail Amendment

MF012	Pip Breast Implant Gel Filled	Round Textured High profile	90cc to 680cc	Detail Amendment

MF013	Pip Breast Implant Gel Filled	Round Smooth Extra High profile	245cc to 495cc	Detail Amendment

MF014	Pip Breast Implant Gel Filled	Round Textured Extra High profile	245cc to 495cc	Detail Amendment

Vascular CAG

MF015	CP Stent	CP Stent Uncovered	16, 22, 28, 24, 39 & 45mm length	Detail and Benefit Amendment

MF016	CP Stent	CP Stent Covered	16, 22, 28, 24, 39 & 45mm length	Detail and Benefit Amendment

MF017	CP Stent	CP Stent Uncovered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm length	Detail and Benefit Amendment

MF018	CP Stent	CP Stent Covered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm length	Detail and Benefit Amendment

Medtel Australia Pty Ltd

Cardio-thoracic

ME065	Amplatzer Duct Occluder	Nitinol Wire Mesh	5 - 24mm	Benefit Amendment

ME066	Amplatzer Septal Occluder	Nitinol Wire Mesh	4mm - 40mm	Benefit Amendment

ME067	Amplatzer Muscular VSD Occluder	Nitinol Wire Mesh	4 - 24mm	Benefit Amendment

ME068	Amplatzer PFO Occluder	Nitinol Wire Mesh	25mm & 35mm	Benefit Amendment

ME074	Amplatzer Membranous VSD Occluder	Nitinol wire mesh, double disc occluder and delivery 	4-24mm, Length 7-10mm	Benefit Amendment

system

ME187	AMPLATZER Duct Occluder II	Self expandable multiple Nitinol wire mesh PDA 	Waist diameter 3-6mm, Nominal length 4-6mm	Detail and Benefit Amendment

occlusion device

General Miscellaneous

ME124	Emphasys Endobronchial Valve	One way valve	Small, Medium, Large	Detail Amendment

Vascular CAG

ME107	Superstitch	Suture Mediated Closure Device	Sheath sizes: 6F and 8F	Detail and Benefit Amendment

ME182	Amplatzer Vascular Plug	Self expandable nitinol wire mesh	Diameter 4mm - 16mm, Length 7 & 8mm	Detail and Benefit Amendment

ME186	AMPLATZER Vascular Plug - II	The AMPLATZER Vascular Plug II is a self-	9-AVP2-003, 3mm Diameter, 6mm Plug Length.9-	Detail and Benefit Amendment

expandable, multi-lobed cylindraical device made 	AVP2-004, 4mm Diameter, 6mm Plug Length.9-

from a nitinol wire mesh. The device is secured on 	AVP2-006, 6mm Diameter, 6mm Plug Length.9-

both ends with platinum marker bands, A stainless 	AVP2-008, 8mm Diameter, 7mm Plug Length.9-

steel micro screw is welded to one of the platinum 	AVP2-010, 10mm Diameter, 7mm Plug Length.9-

marker bands, which allows attachment to a delivery 	AVP2-012, 12mm Diameter, 9mm Plug Length.9-

wire. The plug is preloaded into a loader attached to a	AVP2-014, 14mm Diameter, 10mm Plug Length.9-

nitinol pusher wire and is coiled in a hoop dispenser	AVP2-016, 16mm Diameter, 12mm Plug Length.9-

AVP2-018, 18mm Diameter, 14mm Plug Length.9-

AVP2-020, 20mm Diameter, 16mm Plug Length.9-

AVP2-022, 22mm Diameter, 18mm Plug Length

Medtronic Australasia Pty Ltd

Cardio-thoracic

Changed Items for Prostheses List Report	Page 79 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC002	Medtronic Sprint Quattro Lead Model 6944RV/SVC 	Silicone and polyurethane	65-100cm	Benefit Amendment

65cm; Model 6944RV/SVC 75cm; or Model

6944RV/SVC 100cm; Medtronic Sprint Quattro Lead

Model 6944RV/SVC 58cm

MC008	Medtronic Capsurefix Model 5568 Pacing Leads	Silicone Polyurethane	30 - 85cm	Benefit Amendment

MC009	Medtronic Epicardial Pacing Leads IS-1 Model 5071	Silicone	35 - 53cm	Benefit Amendment

MC010	Medtronic Capsure SP Novus Model 5092; Capsure 	Silicone Polyurethane	45 -110cm	Benefit Amendment

SP Novus Lead Model 5592; Medtronic Capsure

Model 4023 Lead; Medtronic Capsure Model 4024

Lead (med.dexamethasone) Medtronic Capsure

Model 4523(MED) Medtronic Capsure Model 4524

Lead; Medtronic Capsure Model

MC011	Capsure EPI steroid eluting bipolar epicardial lead 	Silicone	25 - 60cm	Benefit Amendment

Model 4968 - ventricle

MC026	Medtronic Transvene SVC Lead Model 6937;	Model 6937-35, Model 6937-52, Model 6937-58, 	35 - 110cm x  660mm	Benefit Amendment

Model 6937-110; Silicone;

MC027	Model 6721 Unipolar Epicardial Patch Leads S/M/L	Model 6721S-50, Model 6721M-50, Model 6721L-	370, 660, 840mm	Benefit Amendment

50; Silicone

MC036	Medtronic Lead End Cap Kit Model: 5867-3M; 	Pin Plug Kits to Seal Unused Pacemaker or 	One Size Per Model	Benefit Amendment

Medtronic DF-1 Port Pin Plug Kit: Model 6719, 	Defibrillator Port; Sizing Sleeve - Silicone or

Medtronic IS-1 Port Pin Plug Kit: Model 6725; 	Polyurethane

Medtronic Upsizing Sleeve: Model 5866-45, Model

5866-46

MC052	Medtronic Capsure VDD2 Model 5038 AV Pacing 	Silicone; Contents: 1 x lead with anchoring sleeve, 	11.5cm, 13.5cm, 15.5cm	Benefit Amendment

stylet & guide, 1 x vein lifter, 2 x fixation tools, extra

stylets

MC053	Capsure EPI steroid eluting unipolar epicardial lead 	Silicone	25 - 50cm	Benefit Amendment

Model 4965 ventricle

MC197	Medtronic AVE S660 Coronary Stents, S670 	Stainless Steel	S660 Coronary Stent - Diameter (2.5mm-2.75mm), 	Benefit Amendment

Coronary Stents, S7 Coronary Stents, BeStent2,	Length (9mm-24mm); S670 & S7 Coronary Stent -

Diameter (3mm-4mm), Length (9mm-30mm);

BeStent2 - Diameter (2.5mm-4mm), Length (9mm-

30mm);

MC208	Medtronic Sprint Quattro Secure Lead Model 6947 	Leads, Defibrillator, Implantable, Silicone, 	58-100cm	Benefit Amendment

58cm; Model 6947 65cm; Model 6947 75cm; Model 	polyurethane, platinized tantalum coils, steroid

6947 100cm	eluting tip

MC225	Attain Over the Wire Model 4193	Titanium, polyurethane	78-88cm	Benefit Amendment

MC226	Medtronic Insync III Triple Chamber Pacemaker 	Titanium	One size only	Benefit Amendment

Model 8042

MC229	Medtronic Capsure SP Novus Model 5594 Lead 	Silicone, platinum	30-100cm	Benefit Amendment

MC246	DF-I Y-Adaptor/Extender Model 6726 25cm & 37cm	Silicone	Lengths 25cm, 37cm	Benefit Amendment

MC251	Implantable Subcutaneous Defibrillator Lead Model 	Silicone and Platinum Alloy	Lengths 41-85cm inclusive	Benefit Amendment

6996SQ 41cm, 58cm, 85cm

MC254	CapSure Sense pacemaker lead Models 4073	Titanium Nitride	30 - 85cm	Benefit Amendment

Changed Items for Prostheses List Report	Page 80 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC301	Model 3830 PACING LEADS	Active fixation pacemaker leadComposition: 	59 - 75 cm	Benefit Amendment

Insulation is polyurethane, Electrodes are Titanium

Nitride coated Platinum, the screw is steriod-coated

MC329	Medtronic Driver, Micro Driver Coronary Stent 	Cobalt Alloy	Driver Stent: diameter (2.25 - 4.5mm), length (8-	Benefit Amendment

30mm); Micro-Driver Stent: diameter (2.25 -

2.75mm), length (8 - 24mm)

MC336	Medtronic Capsure Z Novus Model 5054 Pacing Lead	Silicone; Contents: 1 x lead with anchoring sleeve, 	45-58cm	Benefit Amendment

stylet & guide, 1 x vein lifter, 2 x fixation tools, extra

stylets

MC337	Medtronic Capsure Z Novus Model 5554 Pacing Lead	Silicone; Contents: 1 x lead with anchoring sleeve, 	45-58cm	Benefit Amendment

stylet & guide, 1 x vein lifter, 2 x fixation tools, extra

stylets

MC338	Medtronic Capsurefix Novus Model 5076 Pacing Lead	Silicone; Contents: 1 x lead with anchoring sleeve, 	45-85cm	Benefit Amendment

stylet & guide, 1 x vein lifter, 2 x fixation tools, extra

stylets

MC360	EnRhythm	Model P150 1DR, Rate Responsive dual chamber 	21g, 13cc	Benefit Amendment

pacemaker with Anti-Tachycardia functions:

MC371	Medtronic Capsurefix Model 6940 Pacing Lead;  	Silicone Polyurethane	30 - 85cm	Benefit Amendment

Medtronic Tined IS-1 Model 4557M; Medtronic

Capsurefix Model 4067/8/4568 Pacing Leads;

Medtronic Capsurefix Model 5067 Pacing Leads;

Medtronic Capsurefix Model 5068 Pacing Leads;

Capsure SP Novus Pacing Lead

MC372	CapSure Sense pacemaker lead Models 4074 & 4574	Titanium Nitride	CapSure Sense Lead Model 4074 - 30cm to 85cm; 	Benefit Amendment

CapSure Sense Lead Model 4574 - 30cm to 53cm

MC699	Attain OTW Model 4194 Lead	Model 4194	78cm, 88cm	Benefit Amendment

MC713	Adapta Pacemaker	VDDR PacemakerModels ADVDD01	11.1cc23.6g	Benefit Amendment

MC720	Concerto CRT-D	Implantable Cardioverter Defibrillator with Cardiac 	38cc	Detail and Benefit Amendment

Resynchronisation Therapy

MC721	Virtuoso	DR ModelImplantable Cardioverter Defibrillator, 	37cc, 68g	Detail and Benefit Amendment

Dual Chamber

MC722	Virtuoso	VR ModelImplantable Cardioverter Defibrillator, 	37cc, 68g	Detail and Benefit Amendment

Single Chamber

MC726	Adapta Pacemaker	DR PacemakerModels ADDR01, ADDRS1, 	11.1-14.2cc23.6g-31.3g	Benefit Amendment

ADDRL1, ADDR06, ADDR03

MC728	Adapta Pacemaker	SR PacemakerModels ADSR01, ADSR06, 	9.7 - 11.0cc21.5 - 22.5g	Benefit Amendment

MC730	Attain StarFix LV Lead	Over the wire left Ventricular Lead	78, 88, 103cm	Detail and Benefit Amendment

MC732	Endeavour Drug Eluting Coronary Stent System	Cobalt Alloy, ABT - 578	Diameter: 2.25mm-4.5mm; Length: 8.00mm-38.0mm	Benefit Amendment

MC763	Reveal XT	Reveal XT Insertable Cardiac Monitor	61 x 19 x 8 mm with a volume of 9cc	Detail and Benefit Amendment

MC768	Reveal DX	Insertable Cardiac Monitor	61 x 19 x 8 mm with a volume of 9cc	Detail and Benefit Amendment

MC769	Endeavor Sprint Drug Eluting Stent System	Cobals Alloym ABT - 578	Diameter: 2.25mm-4.0mm; Length: 8.0mm-30.0mm	Benefit Amendment

MC778	Oscor Adaptor	Adaptor for LV-1 lead to unipolar and bipolar IS-1	10cm, 17cm and 40cm	Benefit Amendment

MC811	Attain Ability 4196 LV Lead	Over the wire dual electrode left ventricular lead	78, 88, and 103 cm	Benefit Amendment

Changed Items for Prostheses List Report	Page 81 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC812	Consulta CRT-D	Fully Automatic, Wireless Implantable cardioverter 	38cc	Detail and Benefit Amendment

defibrillator with cardiac resynchronization therapy

(CRT), and therapies for ventricular and atrial

tachyarrhythmia

MC813	Secura VR	Fully Automatic, Wireless Implantable cardioverter 	37cc	Detail and Benefit Amendment

defibrillator with high energy capability and therapies

for ventricular tachyarrhythmia

MC814	Secura DR	Fully Automatic, Wireless Implantable cardioverter 	37cc	Detail and Benefit Amendment

defibrillator with high energy capability and therapies

for ventricular and atrial tachyarrhythmia

MC816	Endeavor Resolute Drug Eluting Coronary Stent 	Cobalt Alloy, ABT - 578, BioLinx Polymer	Diameter:2.25mm-4.0mm; Length: 8.00mm-30.0mm	Benefit Amendment

MC831	Medtronic Lead Extender Kit Model: 6984M, 	Silicone	37 - 50cm	Benefit Amendment

6981M, 6985M,6986m

MC832	Adaptor Kit Model 5866-24M, 5866-40M, 5866-	Silicone	14cm	Benefit Amendment

37M, Bipolar Lead Adaptor Kit Model 2872

MC833	CapSureFix Novus Model 4076 Pacing Lead	Active fixation pacemaker lead	45 - 85cm	Benefit Amendment

MC834	Sprint Quattro Secure S	Model 6935, Active Fixation Single Coil 	52 - 100cm	Benefit Amendment

Defibrillation Lead

Ear, Nose & Throat

MC255	Medtronic Xomed Australia Material Implantable 	ePTFE - expanded polytetrafluroethyelene	0.75cm x 40cm x 0.6mm; 0.4cm x 20cm x 0.6mm; 	Detail Amendment

Sterile - Gore Thyroplasty	0.6cm x 20cm x 0.6mm

MC260	Middle Ear Prosthesis	Total Ossicular Reconstruction Implants	0.6 - 0.8mm x 3.0 - 4.0mm x 7.0 - 8.0mm	Detail Amendment

MC261	Universal Ossicular Reconstruction Implants - 	Malleus + Incus + Stapes	0.6 - 1.17mm x 0.3 - 4.0mm x 4.75 - 8.0mm	Detail Amendment

MC262	Partial Ossicular Reconstruction Implant	Malleus + Incus	0.4 - 1.17mm x 2.2 - 8.8mm x 3.5 - 10.0mm	Detail Amendment

MC263	Total Ossicular Reconstruction Implant	Malleus + Incus + Stapes	0.5 - 0.6mm x 3.5 - 6.0mm and One Size Only	Detail Amendment

MC264	Septal Button 	Silicone	3cm 	Detail Amendment

MC265	Silicone Blocks 	Netterville Phonoform Block - Right, Left, Wedge & 	Right - One size only, Left - One size only, Wedge - 	Detail Amendment

Strip	One size only & Strip - One size only

MC268	Medtronic Vent Tubes	Fluoroplastic	0.76 - 1.52mm x 2.1 - 9.5mm x 1.0 - 12.0mm	Detail Amendment

MC269	Medtronic Vent Tubes	Activent Antimicrobial Ventilation Tube	1.02 - 1.27mm x 0.9 - 2.4mm	Detail Amendment

MC270	Medtronic Vent Tubes	Antibacterial/Antimicrobial	1.27 x 2.9 x 1.3mm	Detail Amendment

MC271	Medtronic Vent Tubes	Stainless Steel	1.02 - 1.27mm, 1.58 - 2.7mm	Detail Amendment

MC272	Medtronic Vent Tubes	Titanium	1.02 - 1.52mm x 0.9 - 4.45mm	Detail Amendment

MC273	Medtronic Vent Tubes	Fluoroplastic	1.02 - 1.27mm x 1.3 - 3.0mm	Detail Amendment

MC276	Medtronic Vent Tubes	Silicone	0.76 - 1.27mm x 1.0 - 7.5mm	Detail Amendment

MC277	Medtronic Vent Tubes	Fluoroplastic, C-Flex	0.89 - 1.52mm x 2.3 - 12.0mm	Detail Amendment

MC278	Medtronic Vent Tubes	Silicone	0.76 - 1.27mm x 1.5 - 12.0mm	Detail Amendment

MC279	Medtronic Vent Tubes	Antimicrobial Ventilation Tube	1.02 - 1.27mm x 2.7 - 9.1mm	Detail Amendment

MC280	Medtronic Vent Tube	Antibacterial/Antimicrobial	1.02 - 1.52mm x 1.3 - 12.0mm	Detail Amendment

Changed Items for Prostheses List Report	Page 82 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC918	The Big Easy Piston	Big Easy Range - MRI Safe, Triple Width Platinum 	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 	Detail Amendment

Band, Double Width Platinum Shaft with Offset 	4.75mm

Versions

MC919	Prostheses Malleus	Hydroxyapatite	0.6 - 4.0mm x 2.7 - 5.0mm x 1.5 - 10.0mm	Detail Amendment

MC920	Flex H/A Incus Necrosis Prostheses	2.5 - 4.0mm x 10.0mm	Detail Amendment

MC921	Middle Ear Prostheses	Malleus+ Incus	Small, Medium, Large, 0.6 x 2.2 x 8.0mm	Detail Amendment

MC922	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 	Detail Amendment

4.75mm

MC923	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 	Detail Amendment

4.75mm

MC924	Middle Ear Prostheses	Malleus	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 10.2mm; 4.0 - 	Detail Amendment

4.75mm

MC925	Vent Tube	Fluoroplastic	1.02 - 1.27mm x 1.0 - 3.5mm	Detail Amendment

MC926	Medtronic Vent Tube	Activent Antimicrobial Ventilation Tube	1.14 - 1.27mm x 0.9 - 3.0mm	Detail Amendment

MC927	Medtronic Vent Tube	1.02 - 1.52mm x 1.3 - 12.0mm	Detail Amendment

General Miscellaneous

MC618	Medishield	Medishield is a co-polmer gel composed of 	3cc Syringe	Detail and Benefit Amendment

carboxymethylcellulose and polyethylene.

Neurosurgical

MC061	Medtronic IsoMed Drug Infusion Pump.	Models 8472-20-03, 8472-20-05, 8472-20-10, 8472-	20ml, 35ml	Detail Amendment

20-15. Models 8472-35-05, 8472-35-10, 8472-035-

15.  Titanium

MC064	Implantable Drug Pump Accessories	8590-8, 8590-9 - Synchromed catheter accessory kit -	20cm; one size only;  38-60cm	Detail Amendment

Radiopaque silicone, 8590RAC - Right angled

connector -  Titanium, polyurethane,  8591-38, 8591-

60, 8590-41 Tunnelling rods - Stainless Steel, 8575

Synchromed connector (40 degree) with catheter

MC313	Synchro Med II Pump	Model No's 8637-20 & 8637-40, Composition - 	20 ml & 40 ml	Detail Amendment

Titanium

MC384	Colorado 2	Pedicle Screw	Diameter 4.5 - 8.5mm Length 30 - 80mm	Detail Amendment

MC402	CD Horizon	Pedicle Screws	Diameter 4.5 - 7.5mm  Length 25 - 80mm	Detail Amendment

MC413	Cornerstone Cage	Sterile and Non-sterile	4 - 14mm	Detail Amendment

MC437	CD-Horizon	Staples	10 - 30mm	Detail Amendment

MC450	Pyramesh	Curved / Round	20 - 150mm	Detail Amendment

MC451	Pyramesh	Ovoid	8 - 130mm	Detail Amendment

MC459	TSRH 3D 	Extended Post Screw	30 - 60mm	Detail Amendment

MC497	Tenor	Rod (5.5mm) - Titanium 	40 - 240mm	Detail Amendment

MC529	Hydrocephalus Shunt	Lumbar peritoneal	84cm	Detail Amendment

MC530	Hydrocephalus Shunt	Ventricular/Atrial, CSF Flow Control Shunts, Cont 	38cm-90cm	Detail Amendment

Small Valve

Changed Items for Prostheses List Report	Page 83 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC531	Hydrocephalus Shunt	Ventricular/Peritoneal. CSF Flow Control Valves, 	12mm-90cm	Detail Amendment

BioGlide Contoured, Ventriculostomy Kit-E,

Neonatal Delta Snap Shunt

MC532	Hydrocephalus Shunt	With Hydrostatic Valve, Delta 	12mm-90cm	Detail Amendment

Valves/Shunts/BioGlide, Vent Catheters

MC533	Shunt: Components catheter	Ventricular Catheter, CSF Catheter	1.3 - 35cm	Detail Amendment

MC534	Pressure valve (anti-siphon device or  flushing valve 	Neonatal Reservior, CSF Lumbo Peritoneal	2 - 90cm	Detail Amendment

or flush pump)

MC535	Pressure valve (anti-siphon device or  flushing valve 	Reservoir, CSF Vent Reservoir, Snap Assembly 	6 - 90mm	Detail Amendment

or flush pump)	Reservoir

MC536	Valves, Hydrocephalic	Strata Adjustable Delta Valve	12 -16mm	Detail Amendment

MC545	Vertex Spinal System	Screws	Diameter 3.5 - 4.5mm Length 6 - 52mm	Detail Amendment

MC577	R90 Spacer	Spinal Implant (Peek)	Height 7 - 16mm	Detail Amendment

Lordosis 6 - 18 degrees

MC583	CSF - Ventricular Catheters PSM Range	Non metallic latex free. Barium impregnated, include 	ID 1.3mm OD 2.5mm Length 15cm, 23cm; ID 1.2mm	Detail Amendment

stainless steel stylet.  Model Nos 41101, 41115, 	 OD 2.1mm Length 15cm, 23cm

41207, 41103, 41308, Proximal ventricular catheter.

MC584	CSF - Distal Catheters	Non metallic and latex free, Models 	Distal cardiac/peritoneal catheters ID 1.3mm OD 	Detail Amendment

43418,43103,43111,43209,43522,43551,27211	2.5mm Length 90cm, 96cm, 110cm, 120cm, ID

1.2mm, OD 2.1mm, Length 90cm, 75cm, 58cm

MC590	Vertex Reconstruction System Crosslink Bar	Composition -  titanium alloy. The system allows for	One size only	Detail Amendment

the adaptation of components from other Sofamor

Danek systems to provide for constructs tailor made

for individual cases.

MC591	Vertex Reconstructive System Laminar Hook	Composition -  titanium alloy	4.5 - 6.0mm	Detail Amendment

MC602	Union	Verte-Stack	8 - 20mm	Detail Amendment

MC603	Union	Verte-Stack	8 - 20mm	Detail Amendment

MC634	CD Horizon	X10 Crosslink	Multi-Span Plate: 25-81mm	Detail Amendment

MC638	Peritoneal Catheter PSM range with Bioglide	Translucent silicone elastomer with Barium 	60-90cm	Detail Amendment

impregnated stripe.  Catheter surface bonded with

Hydrogel.

MC639	Ventricular Catheter PSM range with Bioglide	Translucent silicone elastomer with Barium 	15-23cm	Detail Amendment

impregnated stripe. Catheter surface bonded with

Hydrogel.

MC640	Strata Shunt, Unitised	Adjustable CSF valve with five symmetric 	8-13.5cm x 9-120cm	Detail Amendment

performance level steps.  Includes strata valve, pre-

attached ventricular catheter, and a pre-attached

peritoneal catheter. Right Angle Clip. Disposable

Quick Release Ventricular Catheter Introducer.

MC641	Strata Valve Unitised with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal plastic 	One size only	Detail Amendment

base. Silicone elastomer dome.

MC642	Strata Valve Assembly with Bioglide PSM range	CSF Flow Valves. Polypropylene and acetal plastic 	One size	Detail Amendment

base. Silicone elastomer dome.

Changed Items for Prostheses List Report	Page 84 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC643	Strata Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal plastic 	13-16mm x 35-47mm	Detail Amendment

base. Silicone elastomer dome.

MC644	Strata Valve NSC (non siphon control) PSM range	CSF Flow Valve. Polypropylene and acetal plastic 	13-16mm x 23-32mm (0.5-2.0)	Detail Amendment

base. Silicone elastomer dome.

MC645	Strata Valve Unitised NSC (non siphon control) PSM	Adjustable CSF valve with five symmetric 	8-120cm	Detail Amendment

range	performance level steps. Includes a strata valve, pre-

attached ventricular catheter, and a pre-attached

peritoneal catheter. Right Angle Clip. Disposable

Quick Release Ventricular Catheter Introducer.

MC646	Strata Valve Assembly NSC (non siphon control) 	Adjustable CSF valve with five symmetrical 	One size	Detail Amendment

PSM range	performance level steps. Includes a strata valve, an

integral distal peritoneal catheter and catheter passer,

and a female leur adaptor and prefill tubing.

Polypropylene and acetal plastic base. Silicone

MC647	Delta Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal plastic 	36-40mm x 9-20mm (0.5-2.0)	Detail Amendment

base. Silicone elastomer dome. Surface of valve

bonded with hydrogel (Bioglide surface modification).

MC648	Delta Valve Unitised with Bioglide PSM range	CSF Flow Valves. Polypropylene and acetal plastic 	8-13.5cm x 90-120cm (0.5-2.0)	Detail Amendment

base. Silicone elastomer dome. Unitised system

includes the valve, integral ventricular and peritoneal

catheter (all components connected). Surface of valve

bonded with hydrogel (Bioglide surface modificat

MC649	Delta Shunt Unitised	Delta valve is a fixed pressure CSF valve, available in 	Delta Unitised Shunt small (Distal 65cm-90cm, 	Detail Amendment

four performance levels. Delta Unitised shunt 	ventricular 11cm) - 0.5, 1.0, 1.5 and 2.0. Delta

includes a delta valve, pre-attached ventricular 	Unitised Shunt regular (Distal 90cm, ventricular

catheter, and a pre-attached peritoneal catheter. Right	catheter 13cm) - 0.5, 1.0, 1.5 and 2.0

Angle Clip. Disposable Quick Release Ventricular

MC650	Delta Shunt Assembly	Delta valve is a fixed CSF pressure valve, available in 	90-120cm (0.5 - 2.0)	Detail Amendment

four performance levels. Includes an Integral (distal)

Peritoneal Catheter, Disposable Peritoneal Catheter

Passer, Female Luer Adapter and Prefill Tubing.

MC651	Delta Valve Assembly with Bioglide PSM range	CSF Flow Valves. Polypropylene and acetal plastic 	90-120cm (0.5, 1.0, 1.5, 2.0)	Detail Amendment

base. Silicone elastomer dome. Assembly system

includes the valve, integral peritoneal catheter, female

luer adapter and prefill tubing. Surface of the valve

bonded with hydrogel (Bioglide surface modifica

MC652	Strata Shunt Assembly	Adjustable CSF valve with five symmetric 	90-120cm	Detail Amendment

performance level steps. The assembly includes an

Integrated (distal) Peritoneal Catheter. Disposable

Peritoneal Catheter Passer. Female Luer Adapter and

MC668	CD Horizon	Legacy lliac Lateral Connector	20 - 60mm	Detail Amendment

MC675	CD Horizon	Legacy Screw	Diameter 4.0 - 10.5mm	Detail Amendment

MC689	Neurostimulation System - Lead Revision Kits	Octad Lead Revision Kits Model 3550-26 & 3550-27	30 & 45cm; 60 & 75cm	Detail Amendment

MC735	Rivulet	Ventricular Catheter	4cm - 23cm	Detail Amendment

MC736	Vertex Max Cannulated Screw	Posterior cannulated cervical screw	Diameter 3.5 - 4.5mm	Detail Amendment

Length 20 - 60mm

Changed Items for Prostheses List Report	Page 85 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC741	Indura Intrathecal Catheter	Sutureless pump connector, Silicone, Titanium and 	One size only	Detail Amendment

Nylon

MC750	Durepair	Dura Substitute, Collagen	1" x 1"	Detail Amendment

MC751	Durepair	Dura Substitute, Collagen	2" x 2"	Detail Amendment

MC752	Durepair	Dura Substitute, Collagen	1" x 3"	Detail Amendment

MC753	Durepair	Dura Substitute, Collagen	3" x 3"	Detail Amendment

MC754	Durepair	Dura Substitute, Collagen	4" x 5"	Detail Amendment

MC770	Snap Lid Connector	Connector for implanted lead to external Implantable 	2.5" x 5.0"	Detail Amendment

Pulse Generator

MC774	8578 Sutureless Pump Connector	Sutureless Pump Connector: Material radiopaque 	One size only	Detail Amendment

silicon titanium, nylon

MC776	Specify 5-6-5 Surgical Lead	Triple Array 16 Electrode Surgical Lead with Duraloc	30, 65cm	Detail Amendment

Technology

MC817	Medtronic Intrathecal Catheter Revision Kit 	Revision kit to repair proximal end of intrathecal 	66cm	Detail Amendment

catheter (8596SC)

MC818	Medtronic Intrathecal Catheter Revision Kit (Distal)	Revision kit to repair distal end of intrathecal catheter	38.1cm	Detail Amendment

(8598A)

MC822	CD Horizon	Legacy Multiaxial Iliac Screw	5.5mm to 8.5mm Diameter	Detail Amendment

MC823	CD Horizon	Legacy Fixed Iliac Screw	5.5mm to 8.5mm Diameter	Detail Amendment

MC859	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and Nitinol	57.5mm - 150mm	Detail Amendment

MC929	Medtronic RestoreULTRA Neurostimulator	16 Electrode Rechargeable implantable 	22cc	Benefit Amendment

Neurostimulator for pain management (37712)

Specialist Orthopaedic

MC417	Orfil	Stainless Steel - Wire Spool	1-350mm	Detail Amendment

MC441	Atlas Cable System (SS)	Single w/crimp and bar	One size only	Detail Amendment

MC442	Atlas Cable System (SS)	Double w/2 crimps	One size only	Detail Amendment

MC443	Atlas Cable System (SS)	Crimp	One size only	Detail Amendment

MC444	Atlas Cable System (Ti)	Single (loop end) w/crimp	One size only	Detail Amendment

MC445	Atlas Cable System (Ti)	Double w/2 crimps	One size only	Detail Amendment

MC446	Atlas Cable System (Ti)	Crimp	One size only	Detail Amendment

MC506	Orfil	Double Pearl-Tipped Wires	1 - 350mm	Detail Amendment

Vascular

MC153	Talent AAA Aorto Uni lliac Stent Graft	Talent Endoluminal Stent Graft System - AUI  	22 - 36mm x 75 - 310mm	Detail and Benefit Amendment

Tapered System.

MC847	Endurant Aorto-Uni-Iliac (AUI)	Endurant Endoluminal Stent Graft System - AUI	23 - 36mm X 120mm	Detail and Benefit Amendment

Vascular CAG

MC146	Exponent RX Self Expanding Carotid Stent Delivery 	Nitinol	Diameter: 6 - 10mm, Length: 20 - 40mm	Detail and Benefit Amendment

System

Changed Items for Prostheses List Report	Page 86 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MC148	Talent AAA Bifurcated Stent Graft	Endoluminal Stent Graft System -Bifurcated Graft & 	24-36 x 8-24 x 140-170mm	Detail and Benefit Amendment

Contralateral Limb

MC158	Talent Aortic Extension Stent Graft	Talent Endoluminal Stent Graft - Aortic Extension	22 - 36mm x 26 - 30mm	Detail and Benefit Amendment

MC160	Talent lliac Extension Graft	Talent Endoluminal Stent Graft - lliac Extension	8 - 26mm x 60 - 200mm	Detail and Benefit Amendment

MC203	Talent Occluder System	Nitinol stents attached to polyester graft sealed both 	Standard Sizes, 8 - 24mm x 31 - 35mm	Detail and Benefit Amendment

ends

MC206	Talent Thoracic Stent Graft	Talent Endoluminal Stent Graft - Thoracic Stent 	22 - 46mm x 130mm	Detail and Benefit Amendment

Graft System

MC328	Racer Renal Stent System	Cobalt Alloy	Diameter: 4-7mm; Lengths: 12 &18mm	Detail and Benefit Amendment

MC370	GuardWire Plus Temporary Occlusion and 	GuardWire temporary occlusion balloon, MicroSeal 	Length 200 and 300cm; Balloon Occlusion Diameter: 	Detail and Benefit Amendment

Aspiration System	adaptor, EZ Flator, Export Aspiration Catheter and 	3.0-6.0mm; Distal Tip Length: 2.5cm; Guard Wire

filter. Materials: nitinol hypotube, a soft elastic 	Shaft O.D: 3.5mm

polymer, polycarbonate, polyurethane, stainless steel

MC679	AngioLink Vascular Closure Device	Titanium staple	6F - 8F	Detail and Benefit Amendment

MC702	Aurora Stents: Self Expanding Stent Delivery System	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 - 80mm	Detail and Benefit Amendment

MC715	Interceptor Plus Filter System	Braided Nitol	Filter: 3.5 - 6.5mm; Length: 180cm; Profile: 0.032 - 	Detail and Benefit Amendment

0.036"

MC729	Bridge Assurant Stents: Balloon Expandable Stent 	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 - 80mm	Detail and Benefit Amendment

Delivery System

MC743	Complete SE Stent	Nitinol	20mm - 80mm	Detail and Benefit Amendment

MC744	Complete SE Stent	Nitinol	100mm - 120mm	Detail and Benefit Amendment

MC747	Valiant Endovascular Stent Graft	Nitinol and polyester system	22-46mm diameter, 110mm length	Detail and Benefit Amendment

MC748	Valiant Endovasculat Stent Graft	Nitinol and polyester system	22-46mm diameter, 150mm length	Detail and Benefit Amendment

MC760	Complete SE Stent	Nitinol	150mm	Detail and Benefit Amendment

MC773	Assurant Cobalt Stent	Iliac balloon expandable stent system	Diameter:  6 - 10mm , Length:  20 - 80mm	Detail and Benefit Amendment

MC809	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, up to 179mm	Detail and Benefit Amendment

MC810	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, 180 - 227mm length	Detail and Benefit Amendment

MC845	Endurant AAA Stent Graft Bifurcation	Endurant Endoluminal Stent Graft System - 	23 - 36mm x 13 - 20mm x 135 -185mm	Detail and Benefit Amendment

Bifurcated Graft

MC846	Endurant AAA Contralateral Iliac Limb	Endurant Endoluminal Stent Graft System - 	10 - 28mm X 80 - 120mm	Detail and Benefit Amendment

Contralateral Iliac Limb

MC848	Endurant AAA Iliac Extension	Endurant Endoluminal Stent Graft System - Iliac 	10 -  28mm x 80mm	Detail and Benefit Amendment

Extension

MC849	Endurant AAA Aortic Extension	Endurant Endoluminal Stent Graft System - Aortic 	23 - 36mm x 60mm	Detail and Benefit Amendment

Extension

MC850	Endurant AAA Abdominal Tube	Endurant Endoluminal Stent Graft System - 	23 - 36mm X 85mm	Detail and Benefit Amendment

Abdominal Tube

MC851	Defender Coronary and Carotid Filter System	Distal embolic protection device and delivery system	Filter 2.5 - 6.5mm; Length 180cm; Profile 0.014 - 	Detail and Benefit Amendment

0.070"(0.356 - 1.78mm)

Mentor Medical Systems

Changed Items for Prostheses List Report	Page 87 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Plastic and Reconstructive

MN004	Mentor Siltex Spectrum Saline Tissue Expander	Saline Mammary Prostheses	Volume 275cc - 650cc	Detail Amendment

MN013	Mentor Siltex Becker Expander/Mammary 	.	150, 200, 250, 300, 350, 400, 500, 600, 700. 800cc	Detail Amendment

MN016	Mentor Siltex Low Bleed Gel-Filled (High Profile) 	.	75, 200, 225, 250,  275, 300, 325, 350, 400, 450, 500,	Detail Amendment

Mammary Prostheses Breast, Permanently 	 550cc

MN017	Mentor Medical Systems Contour Profile Gel-filled 	.	120,135,155,180,215,245,280,315,355,395,440,480,5	Detail Amendment

Mammary Prostheses, Breast, Permanently 	30,640,775cc

MN018	Smooth High Profile Gel-filled Mammary Prostheses	Mammary prostheses	125cc-Model 350-1254BC; 150cc-Model 350-	Detail Amendment

1504BC; 175cc-Model 350-1754BC; 200cc-Model

350-2004BC; 225cc-Model 350-2254BC; 250cc-

Model 350-2504BC; 275cc-Model 350-2754BC;

300cc-Model 350-3004BC; 325cc-Model 350-

3254BC; 350cc-Model 350-3504BC; 375cc-Model

MN019	Siltex High Profile Gel-filled Mammary Prostheses	Mammary Prostheses	125cc-Model 354-4125; 150cc-Model 354-4150; 	Detail Amendment

175cc-Model 354-4175; 200cc-Model 354-4200;

225cc-Model 354-4225; 250cc-Model 354-4250;

275cc-Model 354-4275; 300cc-Model 354-4300;

325cc-Model 354-4325; 350cc-Model 354-4350;

375cc-Model 354-4375; 400cc-Model 3

MN023	Smooth Round High Profile Saline-Filled Mammary 	Model 350-3170; Model 350-3190; Model 350-3210;	170cc, 190cc, 210cc, 230cc, 250cc, 270cc, 290cc, 	Detail Amendment

Prosthesis	 Model 350-3230; Model 350-3250; Model 350-	310cc, 330cc, 380cc, 420cc, 460cc, 500cc, 560cc,

3270; Model 350-3290; Model 350-3310; Model 	630cc

350-3330; Model 350-3380; Model 350-3420; Model

350-3460; Model 350-3500; Model 350-3560;

MN024	Round Cohesive Gel-Filled Mammary Prosthesis	Model 354-1009; Model 354-1259; Model 354-1509;	100cc, 125cc, 150cc, 175cc, 200cc, 225cc, 250cc, 	Detail Amendment

Model 354-1759; Model 354-2009; Model 354-	275cc, 300cc, 325cc, 350cc, 375cc, 400cc, 450cc,

2259; Model 354-2509; Model 354-2759; Model 	500cc, 550cc, 600cc, 700cc, 800cc

354-3009; Model 354-3259; Model 354-3509; Model

354-3759; Model 354-4509; Model 354-5009;

Model 354-5509; Model 354-6009;

Morton Surgical Pty Ltd t/a Matrix Surgical Company

Ear, Nose & Throat

MG003	Micromedics Ventilation Tubes	Micromedics;Shepard;1.0mm / 1.14mm 	Detail Amendment

lumen;Fluroplastic / Silicone;w.tab / w.wire;box of 6 /

box of 50

MG011	Micromedics Ventilation Tubes	Micromedics; Donaldson; 1.14mm lumen; Silicone / 	Detail Amendment

Fluroplastic; w.tab; box of 6 / box 50

MG012	Micromedics Ventilation Tubes	Micromedics; Paparella-I / Paparella-II; 1.14mm / 	Detail Amendment

1.42mm lumen; Silicone; box of 6 / box of 50

MG013	Micromedics Ventilation Tubes	Micromedics; T-tubes; (12x10)/(5x8)/(5x4)/(8x5.5); 	Detail Amendment

1.14mm / 1.27mm / 1.4mm lumen ; silicone; box of 6 /

box of 50;

MG014	Micromedics Ventilation Tubes	Micromedics;  Armstrong; bevelled straight / grommit	Detail Amendment

/ w.wire;  7mm / 7.5mm / 1.14mm; silicone /

fluroplastic; box of 6 / box of 50

Changed Items for Prostheses List Report	Page 88 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

MG015	Micromedics Ventilation Tubes	Micromedics; Collar Button; 1.27mm lumen; 	Detail Amendment

fluroplastic; box of 6 / box of 50

MG016	Micromedics Ventilation Tubes	Micromedics;Reuter Bobbin;1.0mm / 1.14mm lumen; 	Detail Amendment

fluroplastic; box of 6 / box of 50

MG017	Micromedics Ventilation Tubes	Micromedics; Shah with wire; mini 0.76mm lumen; 	Detail Amendment

fluroplastic;  box of 6 / box of 50

General Miscellaneous

MG019	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra S 14x15cm	Detail Amendment

MG020	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra R 12.5cm, 15cm	Detail Amendment

MG021	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra M 22x15x10cm	Detail Amendment

MG022	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra L 30x30x20cm	Detail Amendment

MG032	Glubran 2	Synthetic cyanoacrylic surgical glue. N-Butyl (2) 	1ml	Detail Amendment

cyanoacrylate and methacryloxysulfolane co-

N Stenning  & Co Pty  Ltd

General Miscellaneous

NG047	Hanarostent Biliary Stent	Biliary Stent Silicone Covered Nitinol Wire 99% Pure	Diameter: 8mm - 10mm Length: 50mm - 100mm	Detail Amendment

Gold complete with delivery device

NG049	Hanarostent - Covered Tracheal airway Stent	Tracheal Airway Stent Silicone Nitinol Wire 99% 	Diameter: 12mm - 22mm Usable Length: 30mm - 	Detail Amendment

Pure Gold Complete with delivery device	80mm Total Length:  40mm - 80mm

Nucletron Pty Limited

General Miscellaneous

NU001	selectSeed	Nucletron selectSeed Model # 130002 consists of 	One size only	Detail Amendment

cylindrical silver rod, coated with radioactive Iodine-

125 layer. Active silver rod is encapsulated in hollow

titanium tube. Laser welding, using sperical shaped

end welds, seals the tube.

O R Paradigm Pty Ltd

Ear, Nose & Throat

OS001	ALTO Prosthesis	Adjustable Length Titanium Ossicular Chain 	Head Size 2.5mm x 3.5mm; Length 2.0mm - 8.0mm; 	Detail Amendment

Reconstruction Prosthesis	Distal Diameter 0.8mm - 1.2mm

Oncura Pty Limited

General Miscellaneous

ON001	Iodine 125 - 'Rapid Strand' Brachytherapy Implant, 	Rapid Strand consists of 10 welded titanium capsules	One size each	Detail Amendment

Iodine 125 - 'OncoSeeds' Brachytherapy Implant	 containing iodine-125 absorbed onto a silver rod.

OncoSeeds consists of the loose seeds only. Per

Patient up to 120 seeds.

Changed Items for Prostheses List Report	Page 89 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ON002	Iodine 125 - Rapid Strand Brachytherapy Implant; 	I-125 Rapid Strand, code IMC 7000, consists of 10 	One size only	Detail Amendment

OncoSeeds Brachytherapy Implant	welded titanium capsules containing iodine 125. This

assembly is sterile, the acitivity of the capsules

"seeds" is available from 0.18mCi to 0.70mCi.

Individual I-125 capsules (seeds) are also available a

ON003	RAPID Strand Rx Kit	Pre-loaded, variable per patient prescription version 	Custom size up to 100 seeds	Detail and Benefit Amendment

of RAPID Strand

ON004	RAPID Strand Rx Seeds	I-125 RAPID Strand Rx, pre-loaded titanium 	Custom	Detail Amendment

capsules containing iodine 125.  To be used only if

more than 100 seeds are used per patient.  Benefit is

OrbusNeich  Medical Pty Ltd

Cardio-thoracic

NM003	R Stent Evolution 2 Coronary Delivery System	316LVM Stainless Steel Balloon Expandable Stent 	Lengths - 9-33mm; Diameters - 2.5-4.0mm	Benefit Amendment

(Tubular)

NM004	Blazer Coronary Stent Delivery System	L605 Cobalt Chromium alloy balloon expandable 	Expanded Stent Diameter 2.5 to 4.0mm, Stent Length	Benefit Amendment

vascular prosthesis	 9 to 33mm

Orthocare Pty Limited

Specialist Orthopaedic

OC009	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	5mm	Detail Amendment

absorbable. Stainless Steel non-absorbable. Non-

sterile 57-73

OC010	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	10mm	Detail Amendment

absorbable. Stainless Steel non-absorbable. Non-

sterile 57-74

OC011	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	15mm	Detail Amendment

absorbable. Stainless Steel non-absorbable.  Non-

sterile 57-75

OC012	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, 	6mm	Detail Amendment

non-absorbable. Non-sterile

OC013	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, 	8mm	Detail Amendment

non-absorbable. Non-sterile

OC014	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, 	11mm	Detail Amendment

non-absorbable. Non-sterile

OC015	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, 	16mm	Detail Amendment

non-absorbable. Non-sterile

Orthopaedic Solutions Pty Ltd

Specialist Orthopaedic

OE005	Futura Conical Subtalar Implant	Titanium	7 - 12	Detail Amendment

Changed Items for Prostheses List Report	Page 90 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

OE006	Stayfuse	Titanium inter-digital fusion device	Prox 2.8mm Blue; Mid 3.8mm x 6mm Blue; Mid 	Detail Amendment

4.3mm x 6mm Blue; Prox 3.3mm Grey; Prox 3.8mm

Grey; Mid 3.8 x 6mm Grey; Mid 4.3 x 6mm Grey;

Mid 5.0 x 5mm Grey; Mid 5.0 x 6mm Grey; Prox

6.5mm Gold; Distal 5.5 x 10mm Gold; Distal 6.5 x

OE007	Nexfix MTP Fusion System	Unique low profile stainless steel locking screw for 	3.2mm x 12mm, 14mm, 16mm, 18mm, 20mm	Detail Amendment

use with NexFix MTP Fusion plates,  indicated for

use in osteoporotic bone

OE008	NexFix MTP Fusion System	A bendable stainless steel bone plate and screw 	Left 2 + 3; Right 2 + 3	Detail Amendment

system with unique low profile locking screw option.

Indicated for use in primary MTP fusion

OE009	Nexfix MTP Fusion System	A bendable stainless steel bone plate and screw 	Left: 2+3; Right: 2+3	Detail Amendment

system with unique low profile locking screw option.

Indicated for use in primary and revision MTP fusion

OE010	Nexfix MTP Fusion System	Unique low profile stainless steel locking screw for 	2.7mm x 12mm, 14mm, 16mm, 18mm, 20mm, 24mm,	Detail Amendment

use with NexFix MTP Fusion plates, indicated for 	 28mm

use in normal bone

OE013	CoverLoc Screws	CoverLoc Screws, stainless steel, (lag & cortical) & 	2.7mm & 3.3mm x 10mm-26mm in 2mm increments	Detail Amendment

Pegs (threaded & unthreaded)

OE014	CoverLoc Volar Plate	A stainless steel volar plate system intended for 	'22mm x 3, 4 & 8 hole left & right 25mm x 3 & 4 hole 	Detail Amendment

fixation of fractures and osteotomies involving the 	left & right

distal radius. The CoverLoc feature is unique and

allows both compression and lagging with fixed angle

Orthotech Pty Ltd

Neurosurgical

OH049	Synergy/Polaris Spinal System	Variable Locking Screw Nut	13.8mm	Detail Amendment

Orthopaedic

OH061	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	Detail Amendment

Specialist Orthopaedic

OH202	Daphne	Metacarpophalangeal Joint Prosthesis	3, 4, 5, 6	Detail Amendment

OH258	Songer cable system	Double loop titanium spinal cable plus crimps	One size only	Detail Amendment

OH259	Songer Cable System - 2 Crimps	Titanium	One size only	Detail Amendment

OH260	Hartshill	Wire (packet 10) stainless steel	1.2mm diam & 0.9mm diam	Detail Amendment

OH334	EOS Footset - Varisation staple	Foot staple	8-10mm	Detail Amendment

OH335	EOS Footset - Entos	Footscrew	11-14mm	Detail Amendment

OH336	EOS Footset-Pyxis	Footscrew	11-28mm	Detail Amendment

OH337	EOS Footset-Antares	Footscrew	12-34mm	Detail Amendment

OH339	Fyxis plate	Foot plate	40-55mm	Detail Amendment

OH340	Fyxis plate screw	Foot plate screw	9-55mm	Detail Amendment

OH343	Unima Screw	Foot screw 7.2	7.2 x 50-120mm	Detail Amendment

Changed Items for Prostheses List Report	Page 91 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

OH344	Unima Screw	Foot screw 4.5	4.5 x 30-50mm	Detail Amendment

OH345	Pareous staple	Foot staple	1.5mm 6-14 and 2.5mm 14-30	Detail Amendment

OH346	Eleos staple	Foot staple	4-34/38mm	Detail Amendment

Pacing Importers Pty Ltd - Life Systems

Cardio-thoracic

PI001	Excimer Laser Stent	Polyester Fibre optic catheter	2.5 and 2.2mm	Detail and Benefit Amendment

PI002	Excimer Laser Stent	Polyester Fibre optic fibre catheter	0.457mm, 0.9mm, 1.4mm, 1.7mm and 2.0mm	Detail and Benefit Amendment

Ear, Nose & Throat

PI005	Combi C40+ Implantable Auditory Stimulator	Cochlear Implant	One Size Only	Detail Amendment

PI006	Tempo+ Auditory Implant Speech Processor	Tempo+ Auditory  Implant Speech Processor	One Size Only	Detail Amendment

PI007	Duet EAS Hearing System	Cochlear implant speech processor and accoustic 	Length 53.5mm, width 8.5mm, Height 58.4mm (one 	Detail Amendment

hearing aid combined in one device	size only)

PI009	OPUS 2 Speech Processor	Cochlear implant speech processor, fine structure 	54.0mm x 35.1mm x 8.7mm	Detail Amendment

speech processing, remote control, interface for

assistive listening devices according to the

international hearing aid standard (initial patient kit)

PI010	Opus 2 Speech Processor Replacement	Cochlear implant speech processor, fine structure 	54.0mm x 35.1mm x 8.7mm	Detail Amendment

speech processing, remote control, interface for

assistive listening devices according to the

international hearing aid standard (replacement kit)

PI011	Sonata Ti 100 Cochlear Implant	Cochlear implant, titanium casing, 24 independent 	45.7mm length, width at coil 29.0mm, width at 	Detail Amendment

current sources, sequential and parallel stimulation 	stimulator 24.8mm, thickness at coil 3.7mm,

modes up to 50,074 pulses per sec, 19 or 24 oval-	thickness at stiulator 5.9mm.  Standard Electrode -

shaped platinium electrodes, different sizes	length 31.5mm, spacing 2.4mm; Medium - length:

20.9mm, Spacing 1.9mm; Compressed (short) -

length 12.1mm, Electro

PI012	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent 	Length: 31.5mm, Electrode Spacing: 2.4mm	Detail Amendment

current sources, sequential and parallel stimulation

modes up to 50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with standard length

electrode array (contact extent 26.4mm)

PI013	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent 	Length: 20.9mm, Electrode Spacing: 1.9mm	Detail Amendment

current sources, sequential and parallel stimulation

modes up to 50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with medium length

electrode array (contact extent 20.9mm)

PI014	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent 	Length: 12.1mm, Electrode Spacing: 1.1mm	Detail Amendment

current sources, sequential and parallel stimulation

modes up to 50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with short length

electrode array (contact extent 12.1mm)

Changed Items for Prostheses List Report	Page 92 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

PI015	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent 	Length: 4.4mm & 6.6mm, Electrode Spacing 1.1mm	Detail Amendment

current sources, sequential and parallel stimulation

modes up to 50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with double

electrode array (contact extent 4.4mm and 6.6mm)

PI016	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent 	Length: 26.4mm, Electrode Spacing: 2.4mm	Detail Amendment

current sources, sequential and parallel stimulation

modes up to 50,074 pulses per sec, 19 oval-shaped

platinium electrodes. Stimulator with standard length

electrode array (contact extent 26.4mm) with incr

PI017	PULSAR CI 100	Cochlear implant, ceramic casing, 24 independent 	Length: 20.9mm, Electrode Spacing: 1.9mm	Detail Amendment

current sources, sequential and parallel stimulation

modes up to 50,074 pulses per sec,19 oval-shaped

platinium electrodes. Stimulator with medium length

electrode array (contact extent 20.9mm) with increas

Vascular CAG

PI004	Stentself Stent	Phynox construction, adapted sizes & diameters	Dia 5 - 9mm  Length: 20 - 100mm	Detail and Benefit Amendment

Portland Orthopaedics (Aust) Pty Ltd

Orthopaedic

PD005	Margron DTC Hip Replacement	Femoral Modular Neck	Y, Z, AZ, A, B, C, BA, CA, CB, B+4, C+6, CB+6; 	Detail Amendment

31mm to 52mm lateral offset; 23mm to 35mm

vertical height

PD022	M-COR Femoral Neck	Titanium Neck for M-COR System with lateral 	31mm to 47mm lateral offset, 23mm to 33mm 	Detail Amendment

extension for stem connection. Contains threaded 	vertical height, 3 lengths

sealing plug.

PD029	M-COR-R Revision Hip Stem System /M-COR-R 	Plasma sprayed, titanium distal stem, long lengths	10-23mm diameter, 200-275mm length	Detail Amendment

Distal Stem Bowed P

PD030	M-COR-R Revision Hip Stem System/ M-COR-R 	Grit blasted, titanium distal stem, long lengths	10-23mm diameter, 200-275mm length	Detail Amendment

Distal Stem Bowed

PD032	M-COR-R Revision  Hip System / M-COR-R Distal	Plasma sprayed, titanium distal stem, standard lengths	10 - 23mm diameter, 155-175mm length	Detail Amendment

Stem Straight P

PD034	M-COR-R Revision Hip Stem System/ M-COR-R 	Grit blasted, titanium distal stem, standard lengths	10 - 23mm diameter, 155 - 175mm length	Detail Amendment

Distal Stem Straight

Pyramed (Australia) Limited

General Miscellaneous

PY002	Optimed Biliary Sinus Stent	Nickel Titanium Alloy	4 - 12 x 30 - 100mm	Detail Amendment

PY004	Sinus-Endoflex-Biliary Sinus Stent	Nickel Titanium Alloy	40 x 7, 8, 9, 10mm; 60 x 7, 8, 9, 10mm; 80 x 7, 8, 9, 	Detail Amendment

10mm

Vascular CAG

PY005	Optimed Iiiac Sinus Stent	Sinus-wave nitinol stent	4 - 12mm x 30 - 100mm	Detail and Benefit Amendment

PY006	Optimed Femoral Sinus Stent	Sinus-wave nitinol Stent	4 - 12mm x 30-100mm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 93 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Reid Healthcare

Cardio-thoracic

RH001	Aortic On-X Prosthetic Heart Valve Models ONXA-	27-29mm, 19mm, 21mm, 23mm, 25mm, 25-33mm, 	Benefit Amendment

19; ONXA-21; ONXA-23; ONXA-25; ONXA-	27-29mm, 31-33mm, 23mm, 25mm

27/29; ONXM-23; ONXM-25; ONXM-27/29;

ONXM31/33; ONXMC25/33

Roche Diagnostics Australia Pty Ltd

General Miscellaneous

RO021	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula / 30cm tubing	Detail and Benefit Amendment

RO022	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula / 80cm tubing	Detail and Benefit Amendment

RO023	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula only	Detail and Benefit Amendment

RO024	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 30 cm tubing	Detail and Benefit Amendment

RO025	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 60 cm tubing	Detail and Benefit Amendment

RO026	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 80 cm tubing	Detail and Benefit Amendment

RO027	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula only	Detail and Benefit Amendment

RO028	Accu-Chek Infusion Set	FlexLink	8mm cannula / 30cm tubing	Detail and Benefit Amendment

RO029	Accu-Chek Infusion Set	FlexLink	8mm cannula / 60cm tubing	Detail and Benefit Amendment

RO030	Accu-Chek Infusion Set	FlexLink	8 mm cannula / 80 cm tubing	Detail and Benefit Amendment

RO031	Accu-Chek Infusion Set	FlexLink	8 mm cannula only	Detail and Benefit Amendment

RO032	Accu-Chek Infusion Set	FlexLink	10 mm cannula / 30 cm tubing	Detail and Benefit Amendment

RO033	Accu-Chek Infusion Set	FlexLink	10mm cannula / 60cm tubing	Detail and Benefit Amendment

RO034	Accu-Chek Infusion Set	FlexLink	10mm cannula / 80cm tubing	Detail and Benefit Amendment

RO035	Accu-Chek Infusion Set	FlexLink	10 mm cannula only	Detail and Benefit Amendment

RO036	Accu-Chek Infusion Set	Rapid-Dlink	6 mm cannula (with 10cm tail)	Detail and Benefit Amendment

RO037	Accu-Chek Infusion Set	Rapid-Dlink	8 mm cannula (with 10 cm tail)	Detail and Benefit Amendment

RO038	Accu-Chek Infusion Set	Rapid-Dlink	10 mm cannula (with 10 cm tail)	Detail and Benefit Amendment

RO039	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 20 cms	Detail and Benefit Amendment

RO040	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 50 cms	Detail and Benefit Amendment

RO041	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 70 cms	Detail and Benefit Amendment

RO042	Accu-Chek Infusion Set	Protective Blue Cap	Cap	Detail and Benefit Amendment

RO043	Accu-Chek Infusion Set	Plastic Cartridge (H-Tron & Spirit)	3.15mL	Detail and Benefit Amendment

Sherwood Davis & Geck

General Miscellaneous

SG002	Dexon Mesh Danbury 7979-00	Beige polyglycolic acid absorbable surgical mesh fabric	18 x 23cm	Detail Amendment

Changed Items for Prostheses List Report	Page 94 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SM038	PLUS Bipolar Head	Bipolar Head, CoCr UHMWPE insert with insertable	39mm-60mm	Detail Amendment

locking ring

SM043	Bofor Acetabular Insert	UHMWPE with titanium surround	48 -70mm	Detail Amendment

SM131	POLAR CUP ACETABULAR Cementless Shell	Stainless steel with titanium plasma spray coating 	43-67MM	Detail Amendment

and HA and pegs & flanges, that has polished inner

surface for dual mobility with constrained

SM156	Journey Uni Femur-Oxinium	Uni Femur - Oxinium - It is UniCondylar Femur	Size 1 to Size 7 Please refer to the pocket guide	Detail Amendment

SM160	Legion Hinge Tibial Baseplate	A tibial baseplate used for the Legion Hinge system.	Size 2 to 7 Left, Right	Detail Amendment

SM166	Revision Delta Ceramic Femoral Head Sleeve	Biolox Option Sleeve	≤32mm	Detail Amendment

SM167	Revision Delta Ceramic Femoral Head	Biolox Option Head	>32mm	Detail Amendment

SM168	Revision Delta Ceramic Femoral Head Sleeve	Biolox Option Sleeve	>32mm	Detail Amendment

SN263	Buck	Cement Restrictor 	18.5 - 35mm	Detail Amendment

SN267	Tandem/Convene	Shell/Liner	22 - 64mm	Detail Amendment

SN318	Genesis II 	Lug	One size only	Detail Amendment

SN319	Genesis II 	Metaphyseal Stem	1-8	Detail Amendment

SN329	Genesis II 	Tibial screws 	15-50mm	Detail Amendment

SN338	Genesis II Uni Femoral Component	Uni Femoral component, CoCr, cemented	X-Small - Magnum Plus	Detail Amendment

SN736	Legion Knee System Femoral Component	Femoral Component, Oxinium, Cemented, totally 	Size 1 - 9	Detail Amendment

constrained

SN877	Genesis II	CR HA Porous	1-8	Detail Amendment

SN898	MDF Revision System	Modular Neck - CoCr highly polished trapezoidal for	24mm - 36.5mm	Detail Amendment

MDF stem/MIS stem multiple options of version

height and neck length

Specialist Orthopaedic

SM008	Toefit - Plus	Titanium alloy	Metatarsal Component XS-L	Detail Amendment

SM009	Toefit - Plus	Titanium Alloy	Phalangeal Component XS-L	Detail Amendment

SM010	PLUS Endoprothetik Cerclage Systems	CCG Band - Pure Titanium	Length 27cm	Detail Amendment

SM011	PLUS Endoprothetik Cerclage Systems	CCG-GF Band with fixation spikes - Pure Titanium	Length 27cm	Detail Amendment

SM033	PLUS Endoprothetik Cerclage System	CCG Stabilizer with Band	XS - L	Detail Amendment

SM045	Toefit - Plus	Chromium Cobalt	Distal Insert 13 - 17mm	Detail Amendment

SM046	Toefit - Plus	Polyethylene	Polyethylene Distal Insert 11 - 15mm	Detail Amendment

SM047	Toefit - Plus	Chromium Cobalt	Proximal Insert 6, 7, 8	Detail Amendment

SM110	Promos Shoulder Replacement	Humeral Stem	01 to 6	Detail Amendment

SM111	Promos Shoulder Replacement	Body	30 - 35 - 40mm	Detail Amendment

SM112	Promos Shoulder Replacement	Inclination Set	20 - 22 - 24 - 26mm	Detail Amendment

Changed Items for Prostheses List Report	Page 95 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SM113	Promos Shoulder Replacement	Ball head anatomic	R19/H14-R26/H21	Detail Amendment

SM114	Promos Shoulder Replacement	Glenoid	1-23: - 4-29	Detail Amendment

SM146	Bioraptor 2.3 PK	PEEK optima suture anchor	2.3mm	Detail Amendment

SM147	TWINFIX FT PK	PEEK optima fully threaded suture anchor	5.5mm and 6.5mm	Detail Amendment

SM148	FOOTPRINT	Non-knot tying PEEK suture anchor	5.5mm and 6.5mm	Detail Amendment

SM149	Peri-Loc PFP	Proximal Femur Locking Plate - 360L stainless steel	2H R & L 104MM, 4H R & L 144MM, 6H R & L 	Detail Amendment

180MM, 9H R & L 234MM

SM150	Peri-Loc PFP	Proximal Femur Locking Screw - 360L stainless steel	60MM X 22MM THRD - 130mm X 22MM THRD	Detail Amendment

60mm X Full Thread - 130mm Full Thread

SM155	InterTAN CHS-Integrated Interlocking Screws	Integrated Interlocking Screws	11mm x 7.0mm diameter, 65mm Lag Screw/60mm 	Detail Amendment

Compression Screw (65/60), 70/65, 75/70, 80/75,

85/80, 90/85, 100/95, 105/100, 110/105, 115/110,

120/115, 125/120, 130/125, 135/130, 140/135.

SM162	SPYROMITE	A non-absorbable polymer (PEEK) anchor for use in 	2mm in diameter	Detail Amendment

ligament/tendon reconstruction in small joint

applications

SM163	DYNOMITE	A non-absorbable polymer (PEEK) anchor for use in 	2mm in diameter	Detail Amendment

ligament/tendon reconstruction in small joint

applications

SM164	BIOSURE	A non-absorbable polymer (PEEK) interference 	6-12mm in diameter	Detail Amendment

screw for use in ligament/tendon reconstruction

SN001	TC 100 Quarter Tubular plates (2.7mm cortex screws)	Sterile	23 - 63mm	Detail Amendment

SN002	TC 100 3.5mm Cortical Screws	Hex, Cruciate or Self Tapping	45 - 85mm	Detail Amendment

SN004	Bioabsorbable screw	BioRCI-HA Screw, Medial, Portal, Reverse thread, 	7 x 20mm - 12 x 35mm	Detail Amendment

Tibial specific, Trans-tibial

SN006	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	Straight 3-6 holes, T-Plates 3-4 holes	Detail Amendment

SN007	TC 100 3.5mm Cortical Screws	Sterile, Hex or Cruciate	10 - 40mm	Detail Amendment

SN008	Rotorloc Absorbable PLA Suture Anchor System	-	One size only	Detail Amendment

SN011	TC 100 3.5mm Small Fragment (Compression) plates	Sterile, 14 - 26 hole	169 - 265mm	Detail Amendment

SN012	TC 100 3.5mm One Third Tubular plates	Sterile, 2 - 8 holes	25 - 97mm	Detail Amendment

SN013	TC 100 3.5mm Curved Reconstruction plates	Sterile, 6 - 8 holes	70 - 94mm	Detail Amendment

SN014	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	14 - 60mm	Detail Amendment

SN018	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	100 - 145mm	Detail Amendment

SN022	Osteotomy Plates	Blade, Adult osteotomy 4 hole	40 - 80mm	Detail Amendment

SN031	Original Ilazarov System	External circular fixation system, stainless steel and 	Adult and Paediatric	Detail Amendment

composite carbon fibre

SN032	Compass Universal Hinge	Circular external hinged fixator, graphite composite	One size only	Detail Amendment

SN044	TC 100 3.5mm Small Fragment (Compression) Plates	Sterile, 2 - 7 holes	25mm - 85mm	Detail Amendment

SN061	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	62 - 95mm	Detail Amendment

SN062	TC 100	Narrow Compression Plate	4.5mm, 5 - 7 holes	Detail Amendment

Changed Items for Prostheses List Report	Page 96 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN063	TC 100 2.7mm Small Fragment (Compression) plates	2 - 12 holes	20 - 100mm	Detail Amendment

SN065	TC 100 4.5mm T-Buttress plates	Sterile, 4 - 6 holes	80 - 112mm	Detail Amendment

SN068	TC 100	Plate: Condylar	1.5mm, 2.0mm &2.7mm	Detail Amendment

SN069	TC 100 3.5mm Reconstruction plates	Sterile, Straight 9 - 11 holes	106 - 130mm	Detail Amendment

SN071	TC 100 4.5mm Narrow Compression plates	Sterile, 2 - 4 holes	39 - 71mm	Detail Amendment

SN073	TC 100	L - Plates & T - Plates	2.0mm & 2.7mm	Detail Amendment

SN075	TC 100	Plate: Reconstruction	3.5mm & 4.5mm, 10 - 15 holes	Detail Amendment

SN076	TC 100	Plate: Curved Reconstruction	3.5mm, 10 -18 holes	Detail Amendment

SN078	TC 100 4.5mm Broad Compression plates	Sterile, 20 - 26 holes	326 - 423mm	Detail Amendment

SN080	TC 100 4.5mm T-plate	Sterile, 5 - 8 holes	100 - 148mm	Detail Amendment

SN081	TC 100 2.0mm H-plates	Sterile	One size only	Detail Amendment

SN082	TC 100 2.7mm Cortical Screws	Hex, Cruciate or Self-tapping	6 - 55mm	Detail Amendment

SN083	TC 100 2.0mm T-plates	Sterile, 9 hole shaft	3 - 4 holes	Detail Amendment

SN087	TC 100 Semi Tubular plates	8 - 12 holes	135 - 199mm	Detail Amendment

SN088	TC 100	Semi Tubular plates	2 - 7 holes	Detail Amendment

SN098	TC 100 4.5mm Reconstruction plates	Sterile, 14 - 16 holes	221 - 253mm	Detail Amendment

SN104	TC 100	1/3 Tubular Plate with Collar	3 - 10 Hole	Detail Amendment

SN107	TC 100 4.5mm Condylar Buttress plates	Sterile,  right, 11 - 15 hole	221 - 285mm	Detail Amendment

SN108	TC 100	Plate: Broad Compression	4.5mm, 3 - 10 holes	Detail Amendment

SN109	TC 100 3.5mm Reconstruction plates	Sterile, Straight 4 - 8 holes	46 - 94mm	Detail Amendment

SN112	TC 100 2.0mm Cortical Screws	Self Tapping, Hex or cruciate	6 - 38mm	Detail Amendment

SN116	TC 100 2.7mm T-plates	Sterile	One size only	Detail Amendment

SN118	TC 100 3.5mm Small Fragment (Compression) plates	Sterile, 8 - 12 hole	97 - 145mm	Detail Amendment

SN119	TC 100 4.5mm T-plate	Sterile, 3 - 4 holes	68 - 84mm	Detail Amendment

SN126	TC 100 4.5mm Condylar Buttress plates	Sterile, Left and right,  7 - 9 hole	158 - 190mm	Detail Amendment

SN129	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	H-Plates 4 holes	Detail Amendment

SN130	TC 100 3.5mm One Third Tubular plates	Sterile, 9 - 12 holes	109 - 145mm	Detail Amendment

SN131	TC 100 4.5mm Narrow Compression plates	Sterile, 14 - 24 holes	231 - 390mm	Detail Amendment

SN132	TC 100 4.5mm Narrow Compression plates	Sterile, 11 - 13 holes	183 - 215mm	Detail Amendment

SN133	TC 100 4.5mm Narrow Compression plates	Sterile, 8 - 10 holes	135 - 167mm	Detail Amendment

SN134	TC 100 3.5mm Reconstruction plates	Sterile, Straight 16 - 22 holes	190 - 263mm	Detail Amendment

SN135	TC 100 95 Degree Condylar Plates	Small stature	Shaft length 92 - 299 mm, blade length 50 - 80mm	Detail Amendment

SN136	TC 100 Small T-Plates	Sterile, right angled and oblique	3 - 4 holes in head, 3 - 6 holes in shaft	Detail Amendment

SN137	TC 100	Plate: Broad Compression	4.5mm, 6 - 8 holes	Detail Amendment

SN138	Neer 3 Total Shoulder System	Humeral stems	Head size 15 - 16, stem diam 8 - 12mm	Detail Amendment

Changed Items for Prostheses List Report	Page 97 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN141	T-Bar Suture Retention System	Fastfix	One size only	Detail Amendment

SN143	TC 100 4.5mm Reconstruction plates	3 - 9 holes	45 - 141mm	Detail Amendment

SN146	Taylor Spatial Frame	Pre-assembled circular external fixator, carbon-fibre 	One size only	Detail Amendment

rings, telescopic rods

SN284	Screws	Cancellous	15mm - 50mm	Detail Amendment

SN395	Cofield	Humeral stem component	Standard & Long, small- large	Detail Amendment

SN397	Cofield 	Glenoid All Polyethylene component	Small, Standard	Detail Amendment

SN398	Cofield 	Glenoid Component Metal backed	Standard Base. Base Insert.  Glenoid Comp Sm, Stan,	Detail Amendment

St W/off

SN400	Modular Cofield	+ 2 insert	Small, Standard, Standard with offset	Detail Amendment

SN403	Modular Cofield	Humeral Head	14x36mm - 36x58mm	Detail Amendment

SN404	Modular Cofield	Humeral Stem	6mmx115mm - 16mmx245mm	Detail Amendment

SN409	Modular Cofield	Standard Articular Insert	Small, Standard	Detail Amendment

SN413	Shoulder Reconstruction	3.7mm TAG & Wedge Suture Wedge	3.7mm	Detail Amendment

SN414	Shoulder Reconstruction	Suretac Absorbable Staple	6-8 x 16mm	Detail Amendment

SN415	Shoulder Reconstruction	TAG Bioabsorbable Anchor Wedge	3.7mm	Detail Amendment

SN416	Shoulder Reconstruction 	Fastentor Suture Anchor	One size only	Detail Amendment

SN417	T-Bar Suture Retention System	T-Fix RCG 	1.8mm	Detail Amendment

SN418	T-Bar Suture Retention System	T-Fix Single & Double	T-Fix Suture Bar, Straight Needle, Double Suture	Detail Amendment

SN420	ACL/PCL Reconstruction	RCI Screws Titanium	7-11mm diameter, 25-40mm length	Detail Amendment

SN421	ACL/PCL Reconstructions	Absorbable PLLA Screw	7-12mm diameter, 25-35mm length	Detail Amendment

SN422	ACL/PCL Reconstructions	Acufex Fixation Post	25 -55mm	Detail Amendment

SN423	ACL/PCL Reconstructions	Acufex Tibial Fixation Anchor	One size only	Detail Amendment

SN424	ACL/PCL Reconstructions	Acufex Spiked Washer	One size only	Detail Amendment

SN425	ACL/PCL Reconstructions	Cannuflex Silk & Soft Silk Interference Screw	5.5 x 20mm - 9x30mm	Detail Amendment

SN426	ACL/PCL Reconstructions	EndoButton	4 x 12mm, 4mm x 18mm	Detail Amendment

SN427	ACL/PCL Reconstructions	Fixation Button	12-17mm	Detail Amendment

SN428	ACL/PCL Reconstructions	EndoButton CL	20-50mm	Detail Amendment

SN429	ACL/PCL Reconstructions	EndoButton Tape	One size only	Detail Amendment

SN430	ACL/PCL Reconstructions	EndoFix Bioabsorbable Screw	7 x 20mm - 9mm x30mm	Detail Amendment

SN432	ACL/PCL Reconstructions	Tibial Post Screw	Small, Standard	Detail Amendment

SN434	Half Pin	Arrow	4-6mm x 20-80mm	Detail Amendment

SN435	Half Pins	Hex Fix Titanium	4-6mm x 20-80mm	Detail Amendment

SN436	Half Pins	Ilizarov Stainless Steel	4 x 120 -180mm 30mm 35mm - thread   50mm conic	Detail Amendment

SN437	Hex Fix Pins	Cancellous Crane Pin Threaded	5/8" - 1 1/4"	Detail Amendment

SN438	Hip Pin	Cannulated	30-135mm	Detail Amendment

Changed Items for Prostheses List Report	Page 98 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN439	Ilizarov	Jurgan Pin Balls	0.7-5.0mm	Detail Amendment

SN440	Ilizarov	Wires	300-370 length x 1-1.8mm diameter	Detail Amendment

SN441	Ilizarov	Wires with stopper	300-370 length x 1-1.8mm diameter	Detail Amendment

SN442	Mini TAG	Suture Anchor 2.0mm	2.0mm	Detail Amendment

SN443	Reis	Cable and Swage	1.6 & 2.0mm	Detail Amendment

SN445	Steinmann Pins	Skeletal Traction Pin-Cove Point	150-200mm	Detail Amendment

SN446	Steinmann Pins	Skeletal Traction Pin-Cove Point	250mm+	Detail Amendment

SN447	Steinmann Pins	Non Threaded, Various Tips	9"x5/64 - 9"x3/16	Detail Amendment

SN449	Washer	Screw washers	2, 7/3, 7/4, 0/4.5	Detail Amendment

SN450	Washer	For Cannulated screw systems, Titanium	One size only	Detail Amendment

SN451	Wire	Kirschner	Various 1.3 - 304.8mm	Detail Amendment

SN459	Wire	Suture	18Ga - 28Ga	Detail Amendment

SN460	Wire	Cerclage	0.6mmx175mm - 0.8mmx200mm	Detail Amendment

SN463	Bone Staple	Fixation - Osteotomy	Fixation Staple 5mm- 14mm.  McConnel HTO PF 	Detail Amendment

15mm 0-S

SN464	Bone Staple	Fixation - Short Leg	Xsmall - large	Detail Amendment

SN465	Bone Staple	Fixation - Table	Small -Medium  13mm - 16mm. 	Detail Amendment

SN466	Bone Staple	Krackow HTO	12,14,16mm	Detail Amendment

SN467	Compressing Screw	For Intramedullary and compression Hip Screw 	19mm & 28.5mm	Detail Amendment

SN468	Compression Hip Screw System	Ambi Standard Barrel Plates	60mm -80mm, 2-3 slot	Detail Amendment

SN469	Compression Hip Screw System	Ambi Standard Barrel Plates	100mm -220mm, 4-10 slot	Detail Amendment

SN470	Compression Hip Screw System	Ambi Standard Barrel Plates	260mm+, 12-14 slot	Detail Amendment

SN471	Compression Hip Screw System	Ambi Short Barrel Plates	100mm, 4-5 slot	Detail Amendment

SN473	Compression Hip Screw System	Classic Standard Barrel Plates	60-140mm, 2-3 slot	Detail Amendment

SN475	Compression Hip Screw System	Classic Standard Barrel Plates	260mm+, 12-14 slot	Detail Amendment

SN476	Compression Hip Screw System	Classic Short Barrel Plates	100 - 120mm	Detail Amendment

SN478	Compression Hip Screw System	Classic Supracondylar Plate	90-95 6-12SL	Detail Amendment

SN479	Compression Hip Screw System	Hip Screw Clip (ambi only)	One size only	Detail Amendment

SN480	Compression Hip Screw System	Intramedullary Hip Screw (IMHS), Centering Sleeve, 	One size only	Detail Amendment

Stainless Steel

SN481	Compression Hip Screw System	Lag Screw	55 - 140mm	Detail Amendment

SN488	Intermediate Osteotomy System	Compressing	One size only	Detail Amendment

SN489	Intermediate Osteotomy System	Lag	35 mm - 85mm, 1 1/2" - 3-3/4"	Detail Amendment

SN490	Intermediate Osteotomy System	Plate (hip screw)	90-150Deg	Detail Amendment

SN492	Paediatric Osteotomy System	Lag Screw	22mm- 40mm	Detail Amendment

SN493	Paediatric Osteotomy System	Plate (hip screw)	With Prox slot 90D - 140D	Detail Amendment

Changed Items for Prostheses List Report	Page 99 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN496	Intramedullary Nailing System	Foresight Nail	4-5mm Diameter 20-26cm Length	Detail Amendment

SN497	Intramedullary Nailing System	Knee Fussion Nail, Stainless Steel	11x 65-75 & 12 x 65-85cm	Detail Amendment

SN498	Intramedullary Nailing System	Nail Cap	One size only	Detail Amendment

SN509	Russel Taylor	Intramedullary Hip Screw Nail (IMHS) Stainless Steel	Standard 10-16mm 21 cm length, Long 10-12mm 	Detail Amendment

Diameter Right& Left 34-42cm Length

SN519	TriGen	Capture Reconstruction Screws Titanium	6.4mm diameter 65-125mm length	Detail Amendment

SN520	TriGen	Captured Screws Titanium	4.5 & 5.0mm diameters, 20-110mm lengths 	Detail Amendment

SN521	TriGen 	Nail: TAN & FAN, titanium	10, 11.5 &13mm diameter	Detail Amendment

SN522	TriGen 	Knee Nail	8.8, 10, 11.5 & 13mm diameters, 26-50cm lengths	Detail Amendment

SN532	TC 100 Plate	2.0mm Straight Plate	3-20 hole	Detail Amendment

SN540	TC 100 1.5mm Screw	Hex, Cruciate or Self-tapping	6-24mm	Detail Amendment

SN542	TC 100 Plate	Multifragment Plates	One size only	Detail Amendment

SN543	TC 100 Plate	Pelvic Fragment Plates	3-18 hole, 45-190mm	Detail Amendment

SN557	TC 100 Plate	4.5mm Broad Compression Plate	14-18 hole	Detail Amendment

SN569	TC 100 Plate	Calcaneal Plate Sterile	60mm,70mm & 9 hole	Detail Amendment

SN570	TC 100 Plate	Cloverleaf Plate	3-4 hole	Detail Amendment

SN571	TC 100 Plate	Cloverleaf Plate	5-6 hole	Detail Amendment

SN572	TC 100 Plate	Cloverleaf Plate	7-8 hole	Detail Amendment

SN573	TC 100 Plate	Cloverleaf Plate	9 hole	Detail Amendment

SN574	TC 100 Plate	Cobra Head Plate	8-11 hole	Detail Amendment

SN577	TC 100 Plate	Hook Plate	123mm 4 hole	Detail Amendment

SN578	TC 100	Plate: Spoon &  L-Buttress	3 - 18 holes	Detail Amendment

SN581	TC 100 Plate	Lateral Tib Head Buttress Plate	3-7 hole Left & Right	Detail Amendment

SN582	TC 100 Plate	Lateral Tib Head Buttress Plate	9-13 hole Left & Right	Detail Amendment

SN593	TC 100 Screw	6.5mm Cancellous Screw	25 - 150mm length	Detail Amendment

SN595	TC 100 Screw	6.5mm Cancellous Screw Fully Threaded	6.5mm Diameter, 115mm-150mm	Detail Amendment

SN602	TC 100 Screw	6.5mm Cancellous Screw Partially Threaded	6.5mm Diameter, 32mm thread, 130mm+ Length	Detail Amendment

SN606	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	10 - 20mm	Detail Amendment

SN607	TC 100	4mm Cancellous Screw	22 - 50mm	Detail Amendment

SN609	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	 55mm +	Detail Amendment

SN612	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	85mm +	Detail Amendment

SN621	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	10 - 40mm	Detail Amendment

SN625	TC 100 Screw	Malleolar Bone Screw, Sterile	25x12mm - 70x32mm	Detail Amendment

SN626	TC 100 Washers	Stainless Steel	7-13mm	Detail Amendment

SN627	TC 100 Washers	Titanium Non Sterile	4.5mm -13mm	Detail Amendment

Changed Items for Prostheses List Report	Page 100 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN628	TC 100 Washers	Titanium Sterile	4.5mm -13mm	Detail Amendment

SN631	Cannulated Hip Pins	Rush Nails, Round Bevil Point Hook Pins	20.3mm - 254mm	Detail Amendment

SN635	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 16&20mm Thread, 20-135mm	Detail Amendment

SN636	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 32mm thread, 45-130mm	Detail Amendment

SN637	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	5.5mm Diameter, 20-120mm	Detail Amendment

SN638	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	7.0mm Diameter, 30-150mm	Detail Amendment

SN639	Cannulated Screw	6.5mm  & 7.0mm screw Titanium	30 - 150mm Length	Detail Amendment

SN641	Cannulated Screw	5.5mm screw Titanium	5.5mm Diameter 8x20mm- 32x120mm	Detail Amendment

SN642	Cannulated Screw	2.5mm - 4.0mm Screw	2.5mm - 4.0mm Diameter  8 -70mm length	Detail Amendment

SN643	Cannulated Screw	8mm Cannulated screws	8mm Diameter 65-125mm	Detail Amendment

SN644	Cannulated Screw	6.4mm Cannulated screws	6.4mm diameter 65-125mm length	Detail Amendment

SN651	OBL Anchor System	Preloaded Soft Tissue Anchor System Material: 	Anchor sizes - Titanium: 2.8, 3.5, 4.0 5.0, 6.5mm 	Detail Amendment

Titanium Alloy or Polyacetal Polymer. Comes with 	Anchor size - Polymer: 5.0mm

Insertion device and 2 Braided Polyester Sutures

SN652	OBL Anchor System 	Soft Tissue Anchor System Non-preloaded Material: 	4.0 and 6.5mm	Detail Amendment

Titanium Alloy

SN669	Standard Humeral Components	Modular Shoulder System Humeral Head, Chromium 	11.25 - 25mm Height, 40 - 49.5mm Diameter	Detail Amendment

Cobalt

SN675	HTO Screws	Titanium	4.5mm Diameter, 20 - 80mm Length	Detail Amendment

SN676	Genoid Components	Anatomic Glenoid Component, Ti-6A1-4V, 	Extra Small & Standard	Detail Amendment

SN703	Absorbable Suture Anchor	Preloaded PLLA Suture Anchor	2.9mm, 5.0mm & 6.5mm	Detail Amendment

SN708	Jet X Bar	External Fixation Bar with Cap	100mm to 600mm	Detail Amendment

SN709	Jet X Central	Modular Versitile Ankle Fixation Frame	99mm to 158mm	Detail Amendment

SN713	Trigen	Stable-Lok Nut	One Size Only	Detail Amendment

SN714	TwinFix	Quick-T	2.8 - 6.5mm	Detail Amendment

SN730	Accord	Orthopaedic Cable System, Titanium Plate	150-250mm	Detail Amendment

SN731	Accord	Orthopaedic Cable System, Sm Cable Grip	75-255mm	Detail Amendment

SN732	Accord	Orthopaedic Cable System, SS Cable w/clamp	2.0mm	Detail Amendment

SN733	Accord	Orthopaedic Cable System, SS Button Plate Adapter	One Size Only	Detail Amendment

SN735	Accord	Orthopaedic Cable System, Std Cable Grip	85-265mm	Detail Amendment

SN739	Trigen	Self Tapping Cortical Screw	20mm - 60mm	Detail Amendment

SN740	Trigen	Humeral Nail	7-11cm x 16-30cm	Detail Amendment

SN745	Peri-Loc	2.7mm, 3.5mm & 4.5mm Locking Plate, 	3 - 19 Holes	Detail Amendment

SN761	IMHS CP	Subtrochanteric lag screw	12.7mm x 70mm to 12.7mm x 140mm	Detail Amendment

SN762	IMHS CP	Captured locking screw	4.5mm x 22mm to 4.5mm x 64mm	Detail Amendment

SN763	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 16mm x 19.5cm left and right	Detail Amendment

SN764	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 14mm x 32 - 44cm left and right	Detail Amendment

Changed Items for Prostheses List Report	Page 101 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN765	Peri-Loc	2.7mm & 4.0mm Non Locking Screw	10 - 80mm	Detail Amendment

SN766	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless 	3.5mm	Detail Amendment

Steel, Cortical & Cancellous Screw  Size: 3.5mm

SN768	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, 	4.0mm -5.0mm	Detail Amendment

Cortical & Cancellous Screw

SN769	Peri-Loc	Fixation device, internal, locking and non-locking, 	5.7mm	Detail Amendment

stainless steel, cortical and cancellous screw

SN770	Peri-Loc	Fixation device, internal, locking and non-locking, 	5 & 6.5mm	Detail Amendment

stainless steel, cortical and cancellous screw

SN772	Trigen	Hindfoot Fusion Nail, Titanium	10 - 11.5mm Diameter	Detail Amendment

SN774	IMHS CP	Captured Compression Screw, Stainless Steel	19mm	Detail Amendment

SN775	IMHS CP	Set Screw, Stainless Steel	Standard	Detail Amendment

SN777	GTS Sleeve	Polypropylene non-absorbable woven mesh	one size only	Detail Amendment

SN782	Peri-Loc	Plates, Stainless Steel, Non-Locking, Narrow, Lefts &	4.5mm	Detail Amendment

Rights

SN783	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, Left & 	4.5mm. 6-16 hole	Detail Amendment

Rights

SN784	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, Left & 	4.5mm. 18-22 hole	Detail Amendment

Rights

SN790	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, 	3.5mm, 10mm - 85mm length	Detail Amendment

Cortical & Cancellous Screw

SN792	Peri-Loc	Fixation Device, Internal, Locking and Non-Locking, 	4.0mm, 80mm - 100mm length	Detail Amendment

Stainless Steel, Cortical & Cancellous Screw

SN793	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless 	4.5mm, 10mm -110mm length	Detail Amendment

Steel, Cortical & Cancellous Screw

SN794	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless 	4.5mm, 115mm -130mm length	Detail Amendment

Steel, Cortical & Cancellous Screw

SN795	Peri-Loc	Plates, Stainless Steel, Locking, Compression & 	3.5mm	Detail Amendment

Tubular, Lefts and Rights

SN796	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts 	 3.5mm, 4 - 12 holes	Detail Amendment

and Rights

SN797	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts 	3.5mm, 14 - 18 holes	Detail Amendment

and Rights

SN798	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts 	3.5mm, 20 - 22 holes	Detail Amendment

and Rights

SN800	Peri-Loc	Plates, Stainless Steel, Non-Locking, Reconstruction, 	3.5mm, 4-10 holes	Detail Amendment

Lefts and Rights

SN801	Peri-Loc	Plates, Stainless Steel, Non-Locking, Reconstruction, 	3.5mm, 12-14 holes	Detail Amendment

Lefts and Rights

SN829	Peri-Loc UE	2.7mm Locking Recon Plate 6-14 Holes	48mm - 113mm	Detail Amendment

SN831	Peri-Loc UE	Locking plates SS: Distal Radius, Olecrannon, 	2.5-4.5mm, 3-14 holes	Detail Amendment

Humerus, Clavicle

SN832	Peri-Loc UE	Self Tapping Cortex Locking Screw	2.5-2.7mm, 10-60mm length	Detail Amendment

Changed Items for Prostheses List Report	Page 102 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SN833	Peri-Loc UE	Self Tapping Cortex Non Locking Screw	2.5mm, 10-30mm length	Detail Amendment

SN838	Trigen InterTAN Nail	Nail, Titanium	diameter 10-13mmlength 18-46cmAngle 125°-135°	Detail Amendment

SN839	Trigen InterTAN Nail	Lag/Compression Screw, Titanium	30-120	Detail Amendment

SN841	Trigen META	Metaphyseal Nail, Titanium	8.5-13mm15x50cm	Detail Amendment

SN846	KINSA	Suture Anchor, Polmer With Polyester Suture 	2.9mm	Detail Amendment

SN853	Endobutton	Fixation for ACL/PCL reconstruction	5-9mm, 15-60mm	Detail Amendment

SN854	Fast-Fix Ultra	Meniscal suture anchor	One Size	Detail Amendment

SN888	PROMOS Reverse Modular Shoulder System	PE Insert - UHMWPE	36/6mm, 36/9mm, 36/12mm, 42/6mm, 42/9mm, 	Detail Amendment

42/12mm

SN889	Promos Modular Shoulder system	Glenoid Base Plate with Ti/HA-Ti 6A i4V	5-20mm, 1-5, Small, Medium, Large	Detail Amendment

SN890	PROMOS Reverse Modular Shoulder System	Glenoid Bone Screw	6/20mm 6/25mm, 6/30mm,  6/35mm,  6/40mm	Detail Amendment

SN891	Promos Reverse Modular Shoulder System	Glenosphere	centric 36mm, centric 42mm, eccentric 36/+5mm, 	Detail Amendment

eccentric 42/+5mm

SN892	Promos Reverse Modular Shoulder System	Glenoid Base Plate	5-20mm  1-5  Small Medium Large	Detail Amendment

SN893	Promos Reverse Modular Shoulder System	Body	36/mm, 36/10mm, 36/15mm, 42/5, 42/10mm, 42/15mm	Detail Amendment

Smiths Medical Australasia Pty Ltd

General Miscellaneous

SI001	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	One size only	Detail Amendment

Trans Arterial Percuataneous System

SI003	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	1.9 mm O.D. PolyFlow Polyurethane Catheter	Detail Amendment

P.A.S Port T2 System

SI005	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	One size only	Detail Amendment

Peritoneal System

SI007	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.3 mm silicone catheter	Detail Amendment

Arterial Titanium System

SI008	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.8 mm silicone catheter & 9 French introducer set	Detail Amendment

Titanium Venous Portal

SI010	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	1.9mm polyurethane catheter	Detail Amendment

Implantable Access System - Venous Portal, with

introducer set

SI012	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	1.9 mm polyurethane catheter	Detail Amendment

Low Profile Implantable Venous System, with

SI014	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	2.8 mm silicone catheter	Detail Amendment

Titanium Venous System, with introducer set

SI016	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.9 mm polyurethane catheter	Detail Amendment

Titanium Venous System with introducer set

SI017	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.6 mm polyurethane catheter	Detail Amendment

Titanium Venous System with introducer set

Changed Items for Prostheses List Report	Page 103 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SI019	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.9 mm polyurethane catheter	Detail Amendment

Low Profile Titanium Venous System with

introducer set

SI020	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.2 mm O.D. polyurethane catheter	Detail Amendment

Epidural Low Profile System

SI021	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	0.9 mm O.D. polyurethane catheter	Detail Amendment

Intraspinal Low Profile System

SI023	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - dual lumen	3.4 mm silicone catheter	Detail Amendment

Dual Lumen Titanium Venous system and introducer

set

Sorin Group

Cardio-thoracic

SA136	Symphony DR 2550	Active Implantable pacemaker	1 size only	Benefit Amendment

SA137	Symphony SR	Titanium	one size only	Benefit Amendment

SA138	OVATIO CRT-D 6750	Titanium, dual chamber ICD with CRT	30cc	Benefit Amendment

SA139	OVATIO VR 6250	Titanium, single chamber, sterile, VR 6250, 34J	29cc	Benefit Amendment

SA140	OVATIO DR 6550	Titanium dual chamber ICD, 29 cc	29cc	Benefit Amendment

SA141	Reply™ DR	Dual Chamber permanent Pacemaker with Rate 	8cc, Weight: 20grams, Dimensions:41.2 x 41.5 x 6.1mm	Benefit Amendment

Response Modulation

SA142	Reply™ SR	Single chamber permenent pacemaker with rate 	37 x 41.5 x 6.1mm	Benefit Amendment

response modulation	19 Grams

7.5 cm3

St. Jude Medical Australia Pty Ltd

Cardio-thoracic

SJ027	St Jude Medical Microny II SR+ Model 2525T 	Single Chamber Rate Responsive Pacemaker	Volume 5.9cc, Weight 12.8gm	Benefit Amendment

Pacemaker

SJ033	Aescula LV Model 1055K	Left Ventricular Pacing Lead	75cm	Benefit Amendment

SJ050	Verity ADx Model XL DC 5256 Dual - Chamber 	Dual Chamber multi-programmable rate-adaptive 	11cc, 23.5g	Benefit Amendment

pacemaker	pacing devices with extended longevity

SJ051	Verity Adx Implantable Pacemaker, Models XL DR 	Dual - Chamber, multi-programmable, rate-	45x52x6mm,11cc, 23g, 5mm or 6mm M/S	Benefit Amendment

5356 and XL DR 5357M/S	responsive pacemaker withAF suppression

SJ053	Verity Adx Model XL SC 5056 implantable 	Single Chamber multi-programmable rate-adaptive 	10.5cc, 23g	Benefit Amendment

pacing device with extended longevity

SJ054	Identity ADx Model VDR 5480 implantable 	Single Chamber multi-programmable rate-adaptive 	8cc, 18g	Benefit Amendment

pacing device with extended longevity

SJ057	Verity ADx Model XL VDR 5456 implantable 	Single Chamber multi-programmable rate-adaptive 	11cc, 23.5g	Benefit Amendment

pacemaker	pacing device with extended longevity

SJ059	Identity ADx Models DR 5380 and XL DR 5386	Dual-Chamber, multi-programmable, rate-adaptive 	ADx DR 5380: 43x44x6mm, 18g and 8ccADx XL 	Benefit Amendment

pacing devices with AF suppression	DR 5386: 44x52x6mm, 23.5g and 11cc

SJ060	Identity ADx Model SR 5180 implantable pacemaker	Single Chamber multi-programmable rate-adaptive 	8cc, 18g	Benefit Amendment

pacing device

Changed Items for Prostheses List Report	Page 104 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SJ061	Identity Adx Model XL DC 5286 Dual Chamber 	Identity ADx Model XL DC Model 5286 is an 	11cc, 23.5g	Benefit Amendment

Pacemaker	implantable, multi-programmable rate-adaptive

pacing device with AF suppression

SJ066	Atlas + VR - C Model V-193C ICD	Single chamber implantable cardio-verter defibrillator	38cc, 77g	Detail and Benefit Amendment

SJ069	St Jude Medical Biocor Porcine Prosthetic Heart Valve	St Jude Medical Biocor Porcine Prosthetic Heart 	Aortic Valves - Tissue Annulus Diameter - 21-29mm,	Detail Amendment

Valve is manufactured from selected procine aortic 	  Implant Height - 11-15c;  Mitral Valves - Tissue

valve cusps that have been cross-linked with a 	Annulus Diameter - 25-35mm, Implant Height - 8-

glutaraldehyde solution	10mm

SJ072	Frontier II - Model 5596	Biventricular Cardiac Resynchronisation Device with 	49mm(h) x 52(1) x 6(t), 25g	Benefit Amendment

AF suppression algorithm - Titanum

SJ073	Tendril SDX Models 1688T and 1688TC	Endocardial Steroid-Eluting Active Fixation Pacing 	100cm, 25cm, 34cm, 40cm, 46cm, 52cm, 58cm, 	Benefit Amendment

Lead	85cm, 7F

SJ074	Riata Transvenous tachyarrhythmia Leads Model 	Tri-polar Active - Fixation, Steroid-Eluting, Single 	60cm, 65cm, 8F introducer	Benefit Amendment

shock Coil Tachyarrhythmia; Lead

SJ075	Riata Transvenous Tachyarrhythmia Lead Model 	Quadripolar, dual-coil, steroid eluting, active fixation 	One size only	Benefit Amendment

1580, Model 1581	tachyarrhythmia leads

SJ076	Verity Adx Model  XL SR 5157 M/S implantable 	Single Chamber  multi-programmable rate-adaptive 	11cc, 23g	Benefit Amendment

pacemaker	pacing devices with extended longevity

SJ077	Verity Adx Models XL SR 5156 implantable 	Single Chamber  multi-programmable rate-adaptive 	11cc, 23g	Benefit Amendment

pacing devices with extended longevity

SJ078	IsoFlex S, Models 1645K, 1643K, 1635K	Endocardial, Steroid Eluting, Silicone, Passive 	34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F	Benefit Amendment

Fixation Leads with Fast-Pass Coating

SJ079	QuickSite Model 1056K	Unipolar, Steroid Eluting, Titanium Nitride Electrode,	75cm, 6F and 86cm, 6F	Benefit Amendment

Guidewire/Stylet-placed Left Heart Lead with Fast-

Pass Coating

SJ081	Riata i Transvenous Tachyarrhythmia Leads Model 	Active fixation leads, Steroid Eluting, Dual Shock 	60cm, 65cm, 75cm, 8F introducer	Benefit Amendment

1590/1591	Coil Defibrillation Lead

SJ082	Isoflex S, Models 1646T, 1642T and 1636T	endocardial, Steroid Eluting, Silicone, Passive Fixation	34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F, 120cm 	Benefit Amendment

Pacing Leads with Fast-Pass Coating

SJ084	Riata i Transvenous Tachyarrhythmia Lead Model 	Active Fixation, Steroid Eluting, Single Shock Coil 	60cm, 65cm, 75cm, 8F introducer	Benefit Amendment

Defibrillation Lead

SJ089	Victory XL DR 5816 and DR 5810	Dual Chamber Rate Responsive Pacemakers	44x52x6mm; 23.5g; 11cc	Benefit Amendment

SJ090	Victory SR 5610	single chamber rate responsive pacemaker	41x44x46mm 17g 8cc	Benefit Amendment

SJ091	Premere PFO Closure System	Percutaneous, transcatheter, self-expanding, dual 	Left Atrial Anchor diameter 20mm, 25mm and 30mm	Detail and Benefit Amendment

anchor, occlusion and apposition device

SJ096	Riata ST 7000/7001/7002	Active-Fixation True-Bipolar, Dual-Coil, (7002 - 	60, 65cm 7F introducer	Benefit Amendment

Single-Coil) Steroid-Eluting Steroid Eluting,

Endocardial Defibrillation Leads

SJ097	Isoflex P 1644T and 1648T	Endocardial, Steroid Eluting, Polyurethane, Passive-	1648T - 34-85cm 1644T - 34-42cm	Benefit Amendment

Fixation Bipolar Pacing Leads with Fast-Pass Coating

SJ099	QuickSite 1056T	Bipolar Steroid-Eluting, Titanium Nitride Coated 	75cm, 6F and 86cm, 6F	Benefit Amendment

Electrodes Guidewire/Stylet-Placed Keft Heart Lead

with Fast-Pass Coating

SJ103	Zephyr XL DR 5826 and DR 5820	Dual Chamber Rate-Responsive Pacemaker	5826 - 23.5g, 11cc and 5820 - 18g, 8.5cc	Benefit Amendment

Changed Items for Prostheses List Report	Page 105 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SJ105	Zephyr SR 5620	Single Chamber Rate-Responsive Pacemaker	8cc, 17g	Benefit Amendment

SJ109	Atlas II+ HF V-367	Cardiac Resynchronisation Therapy Defibrillator 	41cc, 79g	Detail and Benefit Amendment

with V-V Timing Programmability

SJ110	Riata ST Transvenous Tachyarrhythmia Leads 	Riata ST 7040/41 Passive-Fixation True-Bipolar, 	60 - 75cm, 6.3 Fr, 7 Fr Introducer	Benefit Amendment

7040/41/42 and 7050/51/52	Dual-Coil, Steroid-eluting, Endocardial Defibrillation

Leads, 7042 - Single Coil, 7050/51 - Integrated

Bipolar, Dual Coil, 7052 - Integrated Bipolar, Single

SJ114	Atlas II VR-168	Single chamber cardioverter defibrillator	38cc, 77g	Detail and Benefit Amendment

SJ115	Atlas II+ DR V-268	Dual Chamber Cardioverter Defibrillator	39cc, 78g	Detail and Benefit Amendment

SJ117	Promote CRT-D 3107	Cardiac Resynchronisation Therapy Defibrillator	41cc, 80g	Detail and Benefit Amendment

SJ118	OptiSense 1699T/1699TC	Endocardial, Bi-polar Active-fixation Pacing Leads 	40-58cm	Benefit Amendment

with Optim Insulation

SJ120	Current DR RF 2207	Dual Chamber Cardioverter Defibrillator with RF 	80g, 42cc	Detail and Benefit Amendment

Telemetry

SJ121	Current VR 1107-36	Single Chamber Cardioverter Defibrillator	38cc 76g	Detail and Benefit Amendment

SJ122	Riata ST Optim 7020/1/2 and 7030/1	7020/1 - Active fixation, true bipolar, 7022 - Active 	60, 65 and 75cm length and 7Fr introducer	Benefit Amendment

fixation, true bipolar - single coil, 7030/1 - Active

fixation, integrated bipolar, dual coil steroid eluting

endocardial defibrillation leads with Optim insulation

overlay

SJ123	Current DR 2107	Dual Chamber Cardio-verter Defibrillator	39cc 78g	Detail and Benefit Amendment

SJ124	Current RF VR 1207-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 41cc	Detail and Benefit Amendment

Telemetry

SJ125	 Tendril ST 1788T/TC and 1782TC	Endocardial Bipolar Steroid-Eluting Active Fixation 	40cm, 46cm, 52cm, 58cm, 65cm	Benefit Amendment

Pacing Leads

SJ126	QuickSite XL 1058T	Bipolar, Steroid-Eluting, Titanium Nitride Coated 	75-86cm	Detail and Benefit Amendment

Electrodes, Guidewire/Stylet-Placed Left Heart Lead

with Fast-Pass Coating

SJ127	Proxis Embolic Protection System - Long Sheath	Proximal embolic protection device and delivery 	6F and 7F	Detail and Benefit Amendment

SJ128	Promote RF CRT-D 3213	Cardiac Resynchronisation Therapy Defibrillator 	43cc, 82g	Detail and Benefit Amendment

with RF Telemetry

SJ129	Tendril ST 1888TC and 1882TC	Endocardial Bi-polar Steroid-Eluting Active Fixation 	46-65cm	Benefit Amendment

Pacing Leads

SJ130	Riata ST Optim 7070/1	Passive Fixation, True bipolar, Dual Coil, Steroid 	60, 65 and 70cm length, 7Fr introducer	Benefit Amendment

Eluting, Endocardial Defibrillation Leads with Optim

insulation overlay

SJ131	Zephyr XL SR 5626	Single-Chamber Rate-Responsive Pacemaker	23.5g and 10.4cc	Benefit Amendment

SJ132	Myodex 1084T	Steroid-Eluting Bipolar Sutureless Myocardial Pacing	35cm and 54cm	Benefit Amendment

Lead with Titanium Nitride Electrodes

SJ136	SJM Biocor Heart Valve	Stented Porcine tissue valve	Aortic Valves - Tissue Annulus Diameter - 21 - 	Detail Amendment

29mm

Mitral Valves - Tissue Annulus Diameter - 25-35mm

Changed Items for Prostheses List Report	Page 106 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SJ139	Quickflex 1156T and XL 1158T	Bipolar, Steroid-Eluting, Titanium Nitride Coated 	Length 75 and 86cm	Benefit Amendment

Elextrodes, Guidewire/Stylet-Placed Left Heart Lead

with Fast-PassTM Coating

SJ140	Myodex 1084T and FasTac Flex Lead Implant Tool	Steroid -Eluting Bipolar Sutureless Myocardial 	35cm and 54cm, Lead implant tool - 44cm	Benefit Amendment

Pacing Lead with Titanium Nitride Electrodes and

Lead implant tool with articulating distal end.

SJ142	Analyst VR CD1217-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 41cc	Detail and Benefit Amendment

Telemetry and ST Segment Monitoring

SJ143	AnalyST Accel DR CD2219-36	Dual Chamber cardioverter defibrillator with RF 	80g, 42cc	Detail and Benefit Amendment

telemetry and ST Segment Monitoring

SJ144	AnalyST DR Model CD2217-36	Dual Chamber cardioverter defibrillator with RF 	80g, 42cm	Detail and Benefit Amendment

telemetry and ST Segment Monitoring

SJ145	Promote Accel CD3215-30	Cardiac Resyncronisation Therapy Defibrillator with 	76g, 39cc	Detail and Benefit Amendment

RF Telemetry

SJ146	Isoflex 1944T & 1948T	Passive-Fixation, Bipolar, Steriod Eluting, 	46cm, 52cm, 58cm	Benefit Amendment

Endocardial Pacing Lead with Optim insulation

SJ147	Current Accel VR RF CD1215-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 38cc	Detail and Benefit Amendment

Telemetry

SJ150	Promote Accel RF CD3215-36	Cardiac Resynchronisation Therapy Defibrillator 	82g, 43cc	Detail and Benefit Amendment

with RF Telemetry

SJ151	OptiSense Model 1999	Active-Fixation Bipolar, Steroid Eluting, endocardial, 	40, 46 & 52cm	Benefit Amendment

atrial pacing lead with Optim insulation

SJ152	SJM Confirm Model DM2102	Implantable cardiac monitor with atrial fibrillation 	6.5cc, 12g	Detail and Benefit Amendment

monitoring.

SJ153	Current Accel DR RF CD2215-36	Dual Chamber Cardioverter Defibrillator with RF 	80g, 42cc	Detail and Benefit Amendment

Telemetry

SJ154	AnalyST Accel VR CD1219-36	Single Chamber Cardioverter Defibrillator with RF 	79g, 41cc	Detail and Benefit Amendment

Telemetry and ST Segment Monitoring

SJ157	Durata 7120, 7121, 7122, 7130, 7131	Active fixation bipolar, dual-coil/single coil Steroid-	60, 65, 75cm	Benefit Amendment

eluting Endocardial Defibrillation Leads

SJ158	Durata 7170, 7171	Passive fixation, true bipolar, dual coil, steroid 	60, 65 and 70cm	Benefit Amendment

eluting, endocardial defibrillation leads with Optium

insulation overlay

SJ159	SJM Confirm Model DM2100	Implantable cardiac monitor	6.5cc, 12g	Detail and Benefit Amendment

Neurosurgical

SJ137	Lamitrode Leads - Tripole 8, Tripole 8C and Exclaim	Tripole 8 (3208), Tripole 8C (3210) and Exclaim 	Length - 60cm	Detail Amendment

SJ138	Lamitrode Lead - Tripole 16C	Tripole 16C - 3214, 3128, 3219, 3220, 3221	30-110cm	Detail Amendment

Vascular CAG

SJ014	Angio-Seal Vascular Closure Device - STS Platform 	Angio-Seal Haemostatic Puncture Closure Device, 	6F	Detail and Benefit Amendment

and STS Plus	Models 6F-STS Platform and 6F STS Plus

SJ015	Angio-Seal Vascular Closure Device - STS Platform 	Angio-Seal Haemostatic Puncture Closure Device, 	8F	Detail and Benefit Amendment

and STS Plus	Models 8F-STS Platform and 8F STS Plus

SJ042	Intergard W	Woven Bifurcated	18mm x 9mm  -  24mm x 12mm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 107 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SJ043	Intergard W	Woven Aortic Arch	24mm x 10mm x 8mm x 8mm x 50cm - 30mm x 	Detail and Benefit Amendment

10mm x 8mm x 8mm

SJ045	Intergard K	Knitted Bifurcated	12mm x 6mm - 24mm x 12mm	Detail and Benefit Amendment

SJ046	Intergard K	Knitted Radially Supported	6mm x 70cm - 8mm x 60cm	Detail and Benefit Amendment

SJ047	Intergard K	Knitted Axillobifemoral	Diameter (mm) Length (cm) 8 x 8 100/60; 10 x 10 	Detail and Benefit Amendment

100/60; 8 x 6 x 6 85/55; 8 x 8 85/55; 8 x 8 100/55

SJ080	Proxis Embolic Protection System	Proximal embolic protection device and delivery 	7F and 8F	Detail and Benefit Amendment

SJ094	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure Device 	6F	Detail and Benefit Amendment

Models 6F STS Platform, 6F STS Plus and 7F VIP

SJ095	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure Device 	8F	Detail and Benefit Amendment

Models 8F STS Platform, 8F STS Plus and 8F VIP

SJ107	InterGard HemaBridge	Aortic Graft	20 x 10mm - 36 x 10mm diameter, 35 x 40cm length	Detail and Benefit Amendment

SJ112	InterGuard UltraThin Knitted	Radially Supported Straight	6mm - 70cm to 8mm - 70cm	Detail and Benefit Amendment

SJ155	Angio-Seal Evolution	Haemostatic Puncture Closure Device 6F-8F	6F and 8F	Detail and Benefit Amendment

Stryker Australia Pty Ltd

Ear, Nose & Throat

ST795	Titanium Middle Ear Prostheses	Fisch Incus Prostheses: short, medium, large, Titanium	All Sizes	Detail Amendment

ST796	Titanium Middle Ear Prostheses	Fisch Neomalleus Prostheses, Titanium	1.1x5mm	Detail Amendment

ST798	Titanium Middle Ear Prostheses	Fisch Total Prostheses: with foot, Titanium	0.6x10mm	Detail Amendment

General Miscellaneous

SK461	PainPump 2	Programmable or Preset pump with bolus option and 	250ml & 400ml kits	Detail and Benefit Amendment

digital display providing controlled infusion of a

Local Anaesthetic directly into a surgical site for

post-operative pain management

SR068	PainPump 2 Continuous Peripheral Nerve Block Kit 	Re-programmable & refillable pumps with bolus 	400ml kits	Detail and Benefit Amendment

& PainPump 2 BlockAid Kit	option nd digital display providing controlled

infusion of a local anaesthetic directly innervating the

surgical site for post-operative pain management.

SR069	Painpump 2	Programmable pump with bolus option and digital 	250ml & 400ml Dual Site kits	Detail and Benefit Amendment

display providing controlled infusion of a local

anaesthetic directly into dual surgical sites for post-

operative pain management

Neurosurgical

SK225	Oasys-Occipito Cervico Thoracic System	Multiaxial Screw	3.5mm x 10mm - 40mm	Detail Amendment

4.0mm x 10mm - 50mm

SK426	Cortoss Vertebral Augmentation Kit	Cortoss Cement 10cc, Delivery Gun,  Mix Tips, 	10cc	Detail Amendment

Percutaneous Administration Kit

SK492	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	1" x 1" (2.5cm x 2.5cm)	Detail Amendment

SK493	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	1" x 3" (2.5cm x 7.5cm)	Detail Amendment

SK494	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	4" x 5" (10cm x 12.5cm)	Detail Amendment

Changed Items for Prostheses List Report	Page 108 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SK495	Dura Matrix	Resorbable Collagen Dura Substitute Membrane	3" x 3" (7.5cm x 7.5cm)	Detail Amendment

SK496	DuraMatrix	Resorbable Collagen Dura Substitute Membrane	2" x 2" (5cm x 5cm)	Detail Amendment

SR042	MANTIS	Screw, Cannulated, Multiaxial, Ti	4.5mm - 7.5mm x 25mm - 60mm	Detail Amendment

ST712	Solis Cervical Cage	PEEK Cervical Interbody Cage	12/4-12/9 and 14/4-14/9	Detail Amendment

Orthopaedic

HW001	Hardinge Cement Restrictor	PMMA	6,9 and 12 Leaf	Detail Amendment

HW247	Howmedica Modular Resection System	Oncology Femoral Stem -  Vitallium	127mm and 203mm length 11, 13, 15, 17mm diameter	Detail Amendment

SK172	Howmedica Modular Resection System	GMRS Adaptors Male/Female Taper, 	Male Taper; Female Taper	Detail Amendment

Titanium/Forged Cobalt Chrome

SK444	ABG II Modular Hip System	Neck for the ABGII  stem  	Long & Short	Detail Amendment

SK446	Rejuvinate SPT Femoral Hip System	Neck for Rejuvinate SPT Stem 	30-38mm	Detail Amendment

SK500	Restoration ADM Cup (Anatomic Dual Mobility) 	Chobalt-Chome; HA Coated; Anatomic Dual 	Left and Right; 48-46mm	Detail Amendment

Mobility Cup

ST545	Osteonics hip prostheses 	Cancellous bone screw, Titanium	6.5mm & 5.5mm dia	Detail Amendment

ST566	Osteonics hip prostheses	Bipolar shell and polyethylene insert (factory 	ID 22, 26, 28, 32mm dia 	Detail Amendment

Assembled)

ST582	Osteonics hip prostheses 	Cement restrictor Polyethylene	Universal and sizes 1-8	Detail Amendment

Plastic and Reconstructive

SR040	Universal Quick Flap System	Sterile pack containing 3 x Titanium 2 hole plates 	.	Detail and Benefit Amendment

(SK356), 6 x Viper self drilling 1.5 x 4mm screws

(SK301)

SR041	Universal Quik Flap System	Sterile pack containing, 3 x Titanium 2 hole Plates 	.	Detail and Benefit Amendment

(SK356), 6 x self-tapping screws 1.5 x 4mm

Specialist Orthopaedic

HW049	Trochanteric Mesh	Wire mesh -  Stainless Steel	50 x 50mm	Detail Amendment

HW186	First Step High Tibial Osteotomy System	Distal Component -  Vitallium	30 to 55mm in 5mm increments	Detail Amendment

HW199	Howmedica Modular Resection System	Circlip -  Vitallium	One size only	Detail Amendment

HW200	Howmedica Modular Resection System	Plug Screw Axis -  Vitallium	One size only	Detail Amendment

HW202	Howmedica Modular Resection System	Wedge -  Vitallium	One size only	Detail Amendment

HW203	Howmedica Modular Resection System	Bearing -  Vitallium	One size only	Detail Amendment

HW213	Howmedica Modular Resection System	Humeral Bearing -  Vitallium	One size only	Detail Amendment

HW214	Howmedica Modular Resection System	Humeral Head Fixed -  Vitallium	One size only	Detail Amendment

HW216	Howmedica Modular Resection System	Distal Humerus Cone -  Vitallium	One size only	Detail Amendment

HW217	Howmedica Modular Resection System	Distal Humerus Flange -  Vitallium	One size only	Detail Amendment

HW218	Howmedica Modular Resection System	Humerus Connection Piece -  Vitallium	One size only	Detail Amendment

HW219	Howmedica Modular Resection System	Humerus Connecting Screw -  Vitallium	One size only	Detail Amendment

HW220	Howmedica Modular Resection System	Humerus Hex Socket Bolt -  Vitallium	One size only	Detail Amendment

Changed Items for Prostheses List Report	Page 109 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

HW221	Howmedica Modular Resection System	Humerus Extension Piece -  Vitallium	5, 15, 30, 45, 60, 75, 90, 105, 120, 135, 150, 165mm	Detail Amendment

HW222	Howmedica Modular Resection System	Humeral Anchorage Piece -  Vitallium	9, 10, 11, 12mm	Detail Amendment

HW223	Howmedica Modular Resection System	Ulna Joint -  Vitallium	One size only	Detail Amendment

HW224	Howmedica Modular Resection System	Humeral Axis -  Vitallium	One size only	Detail Amendment

HW254	HMRS Oncology Humeral Head/Cap	Cobalt Chromium	40, 44mm, Cap	Detail Amendment

HW255	Howmedica Modular Resection System	Oncology Humeral Body -  Titanium	40 - 140mm in 20mm increments	Detail Amendment

HW256	HMRS Oncology Humeral Stem	Cobalt Chromium	7x75mm, 7x115mm, 9x75mm, 9x115mm, 11x115mm,	Detail Amendment

25mmx75mm, 25mmx100mm, 50mmx75mm,

50mmx100mm,75mmx100mm, 100mmx50mm

HW257	Wichita Fusion Nail System	Femoral Component -  Vitallium	18mm	Detail Amendment

HW258	Wichita Fusion Nail System	Tibial Component -  Vitallium	12mm	Detail Amendment

HW259	Wichita Fusion Nail System	Compression Screw -  Vitallium	One size only	Detail Amendment

HW260	Wichita Fusion Nail System	Transverse Screw -  Vitallium	30-60mm in 5mm increments	Detail Amendment

HW274	Alta Modular Trauma System - Components	Cortical Screw/Screw Nut Assembly - Titanium	5mm	Detail Amendment

HW297	Asnis Guided Screw System	Guide Pin, Stainless Steel	1.4,2.0,3.2mm	Detail Amendment

HW298	Asnis Guided Screw System	Washer, Stainless Steel	One size only	Detail Amendment

HW299	Asnis Guided Screw System	Washer -  Titanium	4, 5, 6.5,8mm	Detail Amendment

HW302	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Trochanter Grip -  Stainless Steel	Small, Medium, Large	Detail Amendment

HW303	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable & Sleeve -  Stainless Steel 	1.6 and 2mm 	Detail Amendment

HW305	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:5 hole -  Stainless Steel	6 inches	Detail Amendment

HW306	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:7 hole -  Stainless Steel	8 inches	Detail Amendment

HW307	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:9 hole -  Stainless Steel	10 inches	Detail Amendment

HW308	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:11 hole -  Stainless Steel	12 inches	Detail Amendment

HW309	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable -  Vitallium	1.6 and 2mm	Detail Amendment

HW310	Dall Miles Cable Grip System - Vitallium	Vitallium: Sleeve -  Vitallium	1.6 and 2mm	Detail Amendment

HW311	Dall Miles Cable Grip System - Vitallium	Vitallium: Trochanter Grip -  Vitallium	Small, Medium and Large	Detail Amendment

HW313	Dall Miles Cable Grip System - Vitallium	Vitallium: Grooved Button -  Vitallium	One size only	Detail Amendment

HW315	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve -  Vitallium	1.6 and 2mm	Detail Amendment

HW317	Rutherford Staple	Ellison Arched Staple, Vitallium	9,12,15mm x 23mm	Detail Amendment

HW318	Rutherford Staple	Ellison Flat Staple, Vitallium	8,11,14 x 23mm	Detail Amendment

HW319	Rutherford Staple	Ellison Soft Tissue Retainer,  Vitallium	8,11,14mm 	Detail Amendment

HW328	Howmedica Dynamic Joint Distractor	Complete Straight Body Frame -  Stainless Steel	One size only	Detail Amendment

HW330	Omega Plus Compression Hip Screw System	Hip Sideplate - Standard Barrel -  Stainless Steel	2,3,4,5 hole 130-150 degrees	Detail Amendment

HW331	Omega Plus Compression Hip Screw System	Hip Sideplate - Short Barrel -  Stainless Steel	6,8,10,12 hole 130-150 degrees	Detail Amendment

HW332	Omega Plus Compression Hip Screw System	Supracondylar Sideplate -  Stainless Steel	6,8,10,12,14 holes	Detail Amendment

HW333	Omega Plus Compression Hip Screw System	Lag Screw - Standard -  Stainless Steel	50-130mm length 	Detail Amendment

Changed Items for Prostheses List Report	Page 110 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

HW334	Omega Plus Compression Hip Screw System	Lag Screw - Super -  Stainless Steel	50-130mm length 	Detail Amendment

HW335	Omega Plus Compression Hip Screw System	Compression Screw -  Stainless Steel	25mm length	Detail Amendment

HW337	Omega Plus Compression Hip Screw System	Cancellous -  Stainless Steel	6.5mm dia	Detail Amendment

HW354	Metaizeau Nail	Stainless Steel	2-4mm x 400-500mm	Detail Amendment

HW368	Osteo Kirschner Wire	K wire -  Stainless Steel	Diameter 1.0 - 2.0mm	Detail Amendment

HW373	Howmedica Mainstay Soft Tissue Anchor	With suture - Titanium	4.5 anchor with #2 and #5 suture, 2.7 anchor with #0 	Detail Amendment

suture

HW374	Howmedica Mainstay Soft Tissue Anchor	Without suture - Titanium	4.5, 3.5 and 2.7 anchor	Detail Amendment

HW375	Howmedica Mainstay Soft Tissue Anchor	Zip anchor - Titanium	Sip 4.5 anchor with #5 suture and #2 suture 2 	Detail Amendment

strands, zip 3.5 anchor with #2 suture and #0 suture

2 strands, zip 2.7 anchor with #0 suture

HW377	Souter Strathclyde Elbow	Humeral - Long stem, left and right	Medium, Large	Detail Amendment

HW378	Souter Strathclyde Elbow	Ulnar - Retentive, non retentive	50 - 90mm (Non), 70 - 90mm (Retentive)	Detail Amendment

HW379	Souter Strathclyde Elbow	Revision Humeral  - Custom, Long Stem	A, B, C, D	Detail Amendment

HW380	Souter Strathclyde Elbow	Revision Ulnar - Custom, Long stem	Small, Medium	Detail Amendment

HW381	Radial Head Prostheses	Radial Head - Small, Medium, Large	8 - 15mm	Detail Amendment

HW404	First Step High Tibial Osteotomy System	Proximal Component	5mm, 10mm and 15mm steps, 60-90mm in 5mm 	Detail Amendment

increments

SK006	Stryker Trauma Locking Nail System	Titanium - Humeral Nail	Dia 7,8,9mm length 140 - 320mm	Detail Amendment

SK007	Hoffmann II External Fixation System	Hoffmann II Compact -Compression/Distraction Rod	One size only	Detail Amendment

SK008	Hoffmann II External Fixation System	Hoffmann II Compression/Distraction Tube	One size only	Detail Amendment

SK009	Hoffmann II External Fixation System	Hoffman II Miami Post	One size only	Detail Amendment

SK014	Hoffmann II	Hoffmann II Mini- Linking Pivot for 2mm & 3mm 	One size only	Detail Amendment

SK015	Hoffmann II	Hoffmann II Mini- Shank Straight Pin Holder - for 	2, 3 mm	Detail Amendment

1.5mm & 2.0mm pins

SK016	Hoffmann II	Hoffmann II Mini- Shank 'T' Offset Pin Holder - for 	2mm	Detail Amendment

1.5mm & 2.0mm pins

SK017	Hoffmann II	Hoffmann II Mini- 3 Hole Vise	One size only	Detail Amendment

SK018	Hoffmann II	Hoffmann II Mini- Simple Swivel Clamp	One size only	Detail Amendment

SK019	Hoffmann II	Hoffmann II Mini- Insulated Smooth Vise	One size only	Detail Amendment

SK020	Hoffmann II	Hoffmann II Mini- Articulating Coupling	3x3, 2x3	Detail Amendment

SK021	Hoffmann II	Hoffmann II Mini- Adjustable Swivel Clamp	One size only	Detail Amendment

SK023	ACL Wedge Interference Screw	Threaded titanium screw for ligament/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	Detail Amendment

SK024	Stryker Cross-screw	Threaded titanium screw for ligament/tendon fixation	8mm x 40-60mm	Detail Amendment

SK038	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system L, compr 10 hole T bar	Detail Amendment

SK045	Hoffmann II	Hoffmann II Mini- Shank Offset Pin Holder - for 	2, 3mm	Detail Amendment

1.5mm & 2.0mm pins

Changed Items for Prostheses List Report	Page 111 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SK046	Stryker Wedge Interference Screw	Threaded bioabsorbable screw for ligment/tendon 	Dia 7 - 12mm, length 20 - 40mm	Detail Amendment

fixation

SK047	Stryker Wedge Interference Screw	Threaded biosteon screw for ligment/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	Detail Amendment

SK048	Stryker Cuff Anchor	Titanium anchor kit for soft tissue reattachment	Length 5-8mm	Detail Amendment

SK049	Stryker Plating System	Cancellous bone screws	 4.0mm diameter, 8 - 150mm lengths	Detail Amendment

SK053	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 55-95mm	Detail Amendment

SK054	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 100-150mm	Detail Amendment

SK055	Matta Pelvic System	Straight acetabular plate	10-14 Holes	Detail Amendment

SK057	Matta Pelvic System	Straight acetabular plate	15-20 Holes	Detail Amendment

SK064	Skryker Plating  System	Matta Pelvic Plates	Curved, Straight and Symphysis Pubis 2 - 30 hole	Detail Amendment

SK067	Matta Pelvic System	Curved Pelvic Plate Radius 108	4-9 Holes	Detail Amendment

SK069	Matta Pelvic System	Curved Pelvic Plate Radius 108	10-14 Holes	Detail Amendment

SK070	Matta Pelvic System	Curved Pelvic Plate Radius 108	15-20 Holes	Detail Amendment

SK071	Matta Pelvic System	Curved Pelvic Plate Radius 88	4-9 Holes	Detail Amendment

SK073	Matta Pelvic System	Curved Pelvic Plate Radius 88	10-14 Holes	Detail Amendment

SK074	Matta Pelvic System	Curved Pelvic Plate Radius 88	15-20 Holes	Detail Amendment

SK075	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	3-9 Holes	Detail Amendment

SK077	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	10-16 Holes	Detail Amendment

SK081	Stryker Plating System Small Fragment Set	Waisted compression plate	2-10 Holes	Detail Amendment

SK082	Stryker Plating System Small Fragment Set	Waisted compression plate	11-20 Holes	Detail Amendment

SK083	Stryker Plating System Small Fragment Set	Standard compression plate	2-9 Holes	Detail Amendment

SK084	Stryker Plating System Small Fragment Set	Standard compression plate	10-20 Holes	Detail Amendment

SK086	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	22-38mm	Detail Amendment

SK088	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	15-26 Holes	Detail Amendment

SK094	Stryker Plating System Small Fragment Set	Calcaneal Plate	70-80mm	Detail Amendment

SK095	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	40-64mm	Detail Amendment

SK096	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	65-95mm	Detail Amendment

SK097	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	100-150mm	Detail Amendment

SK098	Stryker Plating System Small Fragment Set	Stainless steel, reconstruction plate	10-22 Holes	Detail Amendment

SK099	Stryker Plating System Small Fragment Set	One Third Tubular Plate with Collar	9-14 Holes	Detail Amendment

SK100	Stryker Plating System	Small Fragment Plates	T-Plates 2 - 10 hole	Detail Amendment

SK102	Stryker Plating System Small Fragment Set	Cloverleaf Plate	6-10 Holes	Detail Amendment

SK103	Stryker Plating System	Cortical bone screws	2.7mm diameter, 22 - 80mm  lengths	Detail Amendment

SK105	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 10-20mm	Detail Amendment

SK106	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 22-38mm	Detail Amendment

Changed Items for Prostheses List Report	Page 112 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SK107	Stryker Plating System	Cortical bone screws	3.5mm diameter, 40 - 150mm lengths	Detail Amendment

SK110	Stryker Plating System	Compression Plates	2 - 22 Holes	Detail Amendment

SK117	Leibinger Screws 	Tenxor Kirschner Wires	1.5 - 2.0mm Diameter	Detail Amendment

SK154	Stryker Cross-Screw	HA/PLLA screw for ligament/tendon fixation	Dia 6mm: Length 40-60mm	Detail Amendment

SK155	Wedge Interference screw	Threaded PLLA screw with cross pin for 	Dia 7-12mm, Length 20-40mm; pin length standard	Detail Amendment

ligament/tendon fixation

SK176	Stryker Cuff Anchor	Bio Zip PLLA anchor for soft tissue ligament/tendon 	Dia 3 - 8mm	Detail Amendment

fixation

SK177	Stryker Cuff Anchor	Glenoid Titanium anchor kit for soft tissue 	Dia 2 - 3mm	Detail Amendment

SK199	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Nail Left/Right	Detail Amendment

SK201	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Proximal Humerous Washer round/square	Detail Amendment

SK202	Stryker Trauma Locking Nail System	SCN	Diameter 11m - 14mm, Length 170mm - 240mm	Detail Amendment

SK203	Stryker Trauma Locking Nail System	SCN	Condyle Screws 5mm x (40mm-120mm)	Detail Amendment

SK204	Stryker Trauma Locking Nail System	SCN	Nut for Condyle Screws 5mm	Detail Amendment

SK206	Stryker External Fixation System	Hoffmann II Micro	Couplings, Rod to rod, Pin to Rod and Multipin	Detail Amendment

SK211	Hoffmann II External Fixation System	Hoffmann II Micro	Carbon rods 3mm (30-120mm)	Detail Amendment

SK212	Hoffmann II External Fixation System	Hoffmann II Micro	Stainless steel rods 3mm x (30-120mm)	Detail Amendment

SK213	Hoffmann II External Fixation System	Hoffmann II Micro	K-wire	Detail Amendment

SK214	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Nail Left/Right	Detail Amendment

SK215	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Lag Screw	Detail Amendment

SK216	Stryker Trauma Locking Nail System	Reconstruction Nail	Blocking Screw	Detail Amendment

SK219	Stryker Plating System	Periarticular Plates	2 - 18 holes, 3.5 - 6.5mm Diameter	Detail Amendment

SK228	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook 50-140mm	Detail Amendment

SK229	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook Compression Screw 25mm	Detail Amendment

SK230	Hansson Pin	Cephalic Implants	Hansson Pin 70-140mm	Detail Amendment

SK243	Gamma LN	Lag Screw - Titanium	10.5mmx70mm - 10.5mmx130mm	Detail Amendment

SK244	Stryker Intramedullary Hip Screw	Gamma3 Long	120, 125, 130 Deg; Diameter 10-13mm; Length 280-	Detail Amendment

420mm

SK245	Gamma LN	Locking Screw - Titanium	5x25mm - 5x95mm	Detail Amendment

SK246	Gamma LN	Standard - Titanium	120, 125, 130 Deg; Diameter 10-12mm; Length 170-	Detail Amendment

200mm

SK247	Gamma LN	Set Screw - Titanium	8x17.5mm	Detail Amendment

SK248	Gamma LN	Proximal/Extension Plug - Titanium	0mm, +5mm, +10mm	Detail Amendment

SK256	TwinFix Cannulated Compression Screw System	Diameter 3.2mm, lengths 14-34mm	Detail Amendment

SK337	Stryker Trauma Locking Nail System	Arthrodesis Nail - Knee	Arthrodesis Nail Left/Right; 11.5mm and 13mm	Detail Amendment

SK364	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Tibia Kit	Detail Amendment

SK365	Hoffman II External Fixation System	Hoffman II Sterile Pre-packs	Sterile Ankle Kit	Detail Amendment

Changed Items for Prostheses List Report	Page 113 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SK366	Universal Distal Radius System	Universal SMARTLook Locking Plates	Standard, Narrow and Wide in Long and short 	Detail Amendment

SK368	Stryker Plating System	SPS Locking Plate System	Distal Medial and Lateral tibia  3 Holes to 10 Holes 	Detail Amendment

left and right

SK369	Stryker Locking Plate System	Variax Screws and Pegs	1.7 - 3.5mm diameter 10 - 70mm long	Detail Amendment

SK373	Hoffman II External Fixation system	Hoffman II MRI	Pelvic Clamp	Detail Amendment

SK374	Hoffman II External Fixation System	Hoffman II MRI	Posts 8mm and 5mm	Detail Amendment

SK375	Hoffman II External Fixation System	Hoffman II MRI Coupling	Pin to Rod, Rod to Rod, Tube to Rod, Pin Clamp 	Detail Amendment

Assembly

SK377	Stryker Plating System	SPS Locking Plate System	Distal Femur - 4 holes to 16 holes, Left and Right	Detail Amendment

SK378	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Pelvic Kit	Detail Amendment

SK379	Stryker Plating System	SPS Locking Plate System	Proximal Humerus 3 Holes to 10 Holes Left and 	Detail Amendment

SK381	Stryker Plating System	Stryker locked plating system	Distal Humerus, Lateral and Medial, 1-8 holes	Detail Amendment

SK383	Stryker Plating System	SPS Locking Plate System	Proximal Tibia, Lateral and Medial, 4 hole to 12 	Detail Amendment

holes, left and right

SK390	Hoffman II External Fixation System	Hoffman II MRI	Compression/Dystraction Tube, Dynamisation Tube	Detail Amendment

SK391	Leibinger Universal Distal radius System	Universal Distal Radius SMARTLock Column 	Radial Column - Long and Short; Ulna Column - Long	Detail Amendment

Locking Plates	 and Short, Left and Right

SK392	Stryker Locking Plate System	Svariax  Screws & Pegs	1.7mm - 3.5mm diameter 10mm - 50mm long	Detail Amendment

SK393	Hoffman II External Fixation System	Hoffman II MRI	8mm Connecting rod (100mm - 500mm), 5mm 	Detail Amendment

Connecting rod (100mm - 500mm), Semi Circular

Curve Rod

SK395	Stryker Plating System	SPS Locking Plate System	Locking Screws:  3.0mm - 6.5mm diameter	Detail Amendment

SK398	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	100mm - 200mm	Detail Amendment

SK399	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	110mm - 210mm	Detail Amendment

SK400	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Stainless Steel 	Small, Medium and Large	Detail Amendment

Cables

SK401	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Chrome Cobalt 	Small, Medium and Large	Detail Amendment

Cables

SK402	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 Cables	100mm - 200mm	Detail Amendment

SK403	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 Cables	110mm - 210mm	Detail Amendment

SK427	Solar Reunion Humeral Fracture System	Solar Reunion Humeral Fracture System	Short & Long	Detail Amendment

SK449	Stryker Plating System	Locking Compression Anatomical Shape	2 Hole to 22 Hole	Detail Amendment

SK450	T2 Ankle Arthrodesis Nail	T2 Ankle Arthrodesis Type II Anodized Titanium 	10, 11, 12mm Diameters & 150,200 & 300mm 	Detail Amendment

Alloy (Ti6A14V)

SK451	XCEL Anchor	Bio-absorbable Suture Anchor	2mm-10mm	Detail Amendment

SK452	Stryker Plating System	Self-Tapping/Cortical Sterile ScrewsStainless Steel 	2.7mm - 4.5mm Diameter8mm - 150mm Length	Detail Amendment

or Titanium Alloy

SK454	VariAx Plate	Volar Plate, Polyaxial Locking	Narrow & Standard; Short & Long; Right & Left	Detail Amendment

SK462	Stryker Compression Hip Screw System	Omega3 compression Hip screw	130-150 degree, 2-12 gike, 47-207 mm	Detail Amendment

Changed Items for Prostheses List Report	Page 114 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SK463	Stryker Compression Hip Screw System	Omega3 Supracondylar Plate	95 hole, 6-14 hole, 111-239mm	Detail Amendment

SK464	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 1.2 to 2.7mm, Length 2mm to 48mm	Detail Amendment

SK465	Stryker Intermedullay Nailing System	T2 Retrograde/Antegrade/Compression Nails	7-15mmDiameter, 140 to 480mm lengths	Detail Amendment

SK483	HA Apex Pins	HA coated bone screw	4-6mm diameters, various lengths.	Detail Amendment

SK484	Stryker Cannulated Screw System	Asnis III Cannulated screws	4.0 - 8.0 mm diameter	Detail Amendment

SK485	Hoffmann Xpress - Universal Pin Clamp	Hoffmann Xpress External Fixation Device - 	One size to fit the Rod to Rod	Detail Amendment

Adapted to fit the needs of medically trained staff of

such occupations as the Armed Forces

SK486	Hoffmann Xpress - connecting tube	Hoffman Xpress External Fixation Device - Adapted 	15 mm diameter / 150 to 440 mm in length	Detail Amendment

to fit the needs of medically trained staff of such

occupations as the Armed Forces

SK487	Hoffmann Xpress - 5 Pin Clamp Posts	Hoffmann Xpress External Fixation Device - adapted 	2 categories, a 1 post clamp and a 2 post clamp	Detail Amendment

to fit needs of medically trained staff of such

occupations as the Armed Forces

SK490	U-Blade	U-Blade Lag Screw Set	All Gamma 3 U-Blade's are 10.5mm in diameter, 	Detail Amendment

ranging from 70-130mm in 5mm increments

SK491	U-Blade End Cap	U-Blade Lag Screw End Cap	One size 9mm x 10.5mm (diameter)	Detail Amendment

SK499	Stryker Locking Plate system	Variable angle locking plate for olecranon fractures	All lengths	Detail Amendment

SR055	Stryker Locking Plate System	Plates including Locking, Standard & Compression	Straight, Curved, L, T, Y & 3-D	Detail Amendment

SR058	Stryker Cannulated Screw System	Asnis Micro Cannulated screw	2.0mm-3.0mm, Diameters, 8mm-40mm lengths	Detail Amendment

SR071	Stryker Locking Plate System	Calcaneus Locking Plates	Small, Medium & Large	Detail Amendment

SR072	Dall miles Trochanteric grip with divergent hooks	stainless steel dall miles trochanteric grip with 	small, medium, large  43-53mm	Detail Amendment

diverging proximal hooks

SR073	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 2.7 to 3.5mm, Length 10mm to 70mm	Detail Amendment

SR075	Stryker Locking Plate System	Locking Plates	Straight, Curved, H, T, L & 3-D	Detail Amendment

ST003	Stryker Plating System Screws - Cortical 2.7 & 3.5	Stainless Steel/Titanium	Diameter 2.7mm, screw length 8-20mm	Detail Amendment

ST004	Stryker Plating System Screws - Cortical 4.5mm	Titanium or Stainless Steel	10-20mm	Detail Amendment

ST005	Stryker Plating System Screws - Cancellous	6.5mm Stainless Steel or Titanium	20-50mm	Detail Amendment

ST006	Stryker Plating System Screws - Cancellous 4.0mm	Stainless Steel or Titanium, Full or Partial Thread	10-60mm Screw Length	Detail Amendment

ST007	Stryker Plating System - K Wires	Stainless Steel or Titanium	150mm length in 1.25, 1.6, 2.0mm diameter	Detail Amendment

ST008	Stryker Plating System Small & Basic Fragment - 	Narrow or Broad	2-20 holes, 26-260mm plate length	Detail Amendment

Compression Plate

ST017	Stryker Plating System Small & Basic Fragment - 	Stainless Steel or Titanium	50-60mm	Detail Amendment

Calcaneal Plate

ST025	Stryker Plating System Small Fragment Set	Stainless Steel	4-9 Holes	Detail Amendment

ST027	Solar - Dual Offset Humeral Head	Cobalt Chrome	40-50mm diameter, 15-21mm thickness	Detail Amendment

ST035	Stryker Trauma Locking Nail System: Compression 	Titanium	One size only	Detail Amendment

Screw

ST036	Stryker Plating System Small & Basic Fragment - T 	Oblique T Plate or T Plate, Stainless Steel or 	42-86mm Length	Detail Amendment

Plate	Titanium, Oblique

Changed Items for Prostheses List Report	Page 115 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ST037	Stryker Plating System SmallFragment Set	One Third Tubular Plate with Collar	2-8 Holes	Detail Amendment

ST038	Stryker Plating System -  Reduction Pin	4.5mm Diameter, Stainless Steel	One size only	Detail Amendment

ST039	Stryker Plating System Small & Basic Fragment - L 	Stainless Steel or Titanium, Left or Right	3-20 Holes, 67-339mm Plate Length	Detail Amendment

Plate

ST040	Stryker Plating System - Washers & Nuts	Stainless Steel or Titanium	Nuts 5.0 or 4.5mm thickness; Washers 7 - 13mm 	Detail Amendment

diameter

ST041	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	6-14 holes	Detail Amendment

ST043	Stryker Trauma Locking Nail System: Locking Screw 	Titanium	20-120mm	Detail Amendment

with & without shaft

ST045	Stryker Trauma Locking Nail System: End Cap	Titanium	Standard, +5, +10, +15	Detail Amendment

ST051	Stryker Plating System Small Fragment Set	Cloverleaf Plate	3-5 Holes	Detail Amendment

ST672	Osteonics Solar Shoulder Prostheses 	Humeral head polyethylene	40-55mm by 12-34mm	Detail Amendment

ST673	Osteonics Solar Shoulder Prostheses	Dual offset humeral head polyethylene	40,45,50mm Diameter by 15, 18, 21mm Thickness	Detail Amendment

ST674	Osteonics Solar Shoulder Prostheses 	Humeral stem polyethylene	3,5,7,9,11	Detail Amendment

ST675	Osteonics Solar Shoulder Prostheses 	Glenoid component polyethylene	5,7,9,11	Detail Amendment

ST676	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral inner head, cobalt chromium	22mm with 0, +2 and +4mm neck lengths	Detail Amendment

ST722	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 4x2 holes	Detail Amendment

fixation plate,  3D plate, titanium

ST730	Leibinger Titanium Implant System	Hand system, fixation plate, L-shape, right/left	1.7mm, 6 holes	Detail Amendment

ST738	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 2x2 holes	Detail Amendment

fixation, 3D plate, titanium

ST741	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 3D	1.7mm system, 4x2 holes	Detail Amendment

plate, titanium

ST764	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 4x2 holes	Detail Amendment

fixation plate, 3D plate, Titanium

ST783	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, screw, 	Diameter 2.3mm, Length 8mm - 22mm	Detail Amendment

Titanium

ST786	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, straight 	4 holes	Detail Amendment

plate, Titanium

ST787	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, straight 	6 holes	Detail Amendment

plate, Titanium

ST788	Leibinger Titanium Implant System	Leibinger System, anatomical shap, Titanium	1 - 4 holes	Detail Amendment

ST818	Osteonics Solar Elbow System - humeral assembly	Titanium alloy with polyethylene bushing	Standard, large	Detail Amendment

ST819	Osteonics Solar Elbow System - long humeral 	Titanium alloy with polyethylene bushing	Standard, large	Detail Amendment

ST820	Osteonics Solar Elbow System - ulna component	Titanium alloy	Small, standard, large	Detail Amendment

ST830	Stryker Wedge Interference Screw	Small threaded titanium screw for ligament/tendon 	Diameter 7 - 9mm, Length 20 - 25mm	Detail Amendment

fixation

ST877	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral  outer head, cobalt chromium	22mm with 0, +2 and +4mm neck lengths	Detail Amendment

ST884	Apex Pins	Stainless Steel Orthopaedic Pins	2 - 6mm	Detail Amendment

ST885	Howmedica Dynamic Joint Distractor	Y Body Assembly - Stainless Steel	One size only	Detail Amendment

Changed Items for Prostheses List Report	Page 116 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ST886	Howmedica Dynamic Joint Distractor	Pin Stop Collar - Stainless Steel	One size only	Detail Amendment

ST888	Howmedica Dynamic Joint Distractor	Complete Y Body Frame - Stainless Steel	One size only	Detail Amendment

ST889	Howmedica Dynamic Joint Distractor	Straight Body Assembly - Stainless Steel	One size only	Detail Amendment

ST890	Steinmann Pins	Stainless Steel	7,9"	Detail Amendment

ST892	Hoffmann II Compact External Fixation System	Pin clamp assembly with no post	One Size Only	Detail Amendment

ST935	Hoffman II External Fixation System	Anodised metal alloy, rod to rod coupling	8/8mm	Detail Amendment

ST936	Hoffman II External Fixation System	Anodised metal alloy, pin to rod coupling	8/4, 5mm	Detail Amendment

ST937	Hoffman II External Fixation System	Anodised metal alloy, 30 deg angled post, stainless 	One size only	Detail Amendment

ST938	Hoffman II External Fixation System	Anodised metal alloy, straight post, stainless steel	One size only	Detail Amendment

ST939	Hoffman II External Fixation System	Anodised metal alloy, aluminium connecting rod	8mm x 65-500mm	Detail Amendment

ST940	Hoffman II External Fixation System	Anodised metal alloy, carbon connecting rod	8mm x 65-500mm	Detail Amendment

ST942	Hoffman II External Fixation System	Anodised metal alloy, curved aluminium rod semi-	Small, Medium, Large	Detail Amendment

circular

ST943	Hoffman II External Fixation System	Anodised metal alloy, adjustable connecting rod	Long, short	Detail Amendment

ST945	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly yellow	15mm	Detail Amendment

ST946	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly blue	20mm	Detail Amendment

ST947	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly red	25mm	Detail Amendment

ST948	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly yellow	15mm	Detail Amendment

ST949	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly blue	20mm	Detail Amendment

ST950	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly red	25mm	Detail Amendment

ST951	Monotube External Fixation System	Anodized metal alloy, pin clamp yellow, blue, red	15, 20, 25mm	Detail Amendment

ST952	Monotube External Fixation System	Anodized metal alloy, single pin clamp yellow, blue, 	15, 20, 25mm	Detail Amendment

ST953	Monotube External Fixation System	Anodized metal alloy, T-Adapter yellow, blue, red	15, 20, 25mm	Detail Amendment

ST954	Monotube External Fixation System	Anodized metal alloy, tube to tube clamp yellow, 	15, 20, 25mm, 15/20mm, 20/25mm	Detail Amendment

blue, red, yellow/blue, blue/red

ST955	Monotube External Fixation System	Anodized metal alloy, hybrid clamp blue, hybrid 	One size only	Detail Amendment

clamp red

ST962	Monotube External Fixation System	Carbon tube yellow 015	150, 200, 250, 300mm	Detail Amendment

ST963	Monotube External Fixation System	Carbon tube blue 015	150, 200, 250, 300mm	Detail Amendment

ST964	Monotube External Fixation System	Carbon tube red 015	150, 200, 250, 300mm	Detail Amendment

ST965	TenXor External Fixation System	Anodized metal alloy, open ring	150, 180, 210, 250mm	Detail Amendment

ST966	TenXor External Fixation System	Anodized metal alloy, ring clamp	One size only	Detail Amendment

ST967	TenXor External Fixation System	Anodized metal alloy, wire post, pin post	One size only	Detail Amendment

ST968	TenXor External Fixation System	Anodized metal alloy, ring to monotube triax tube 	One size only	Detail Amendment

clamp

ST970	TenXor External Fixation System	Anodized metal alloy, Monticelli Spinelli kirschner 	One size only	Detail Amendment

wire holder

Changed Items for Prostheses List Report	Page 117 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ST971	TenXor External Fixation System	Anodized metal alloy, with sliding clamp	One size only	Detail Amendment

ST972	TenXor External Fixation System	Anodized metal alloy,with sliding clamp and spacer	One size only	Detail Amendment

Surgical House

Orthopaedic

SU209	Plus Spinal Fixation System - Pedicle Screws	Titanium, mono-axial pedicle screws for attachment 	Diameter 4.5mm, Length 20mm-45mm                   	Detail Amendment

to PLUS 6mm diameter rods to form a multi-level 	Diameter 5.5mm, Length 20mm-50mm

spinal fixation construct	Diameter 6.5mm, Length 25mm-60mm

Diameter 7.5mm, Length 25mm-90mm

Diameter 8.5mm, Length 30mm-90mm

Specialist Orthopaedic

SU006	Bold Compression Screw	Cannulated titanium	3mm diam 10-34mm length	Detail Amendment

SU007	ICOS Screw: Ideal Compression Screw	Cannulated titanium	4.0mm diam 26-60mm length, 6.5mm diam 40-	Detail Amendment

150mm length

SU008	Spin Screw: Snap Off Screw	Titanium	Diameter 2mm, Length 11-14mm; Diameter  2.7mm,  	Detail Amendment

Various Lengths; Diameter 3.0mm, Various Lengths

SU009	Kalix 	Flat foot implant titanium/UHMWP	9 - 17mm diameter	Detail Amendment

SU010	K-Wire (Kirschner)	Stainless steel	70mm, 100mm, 200mm length	Detail Amendment

SU011	Tac-Pin (Threaded)	Compression pin-titanium	1.7mm diam 15-25mm length	Detail Amendment

SU012	Solustaple Standard Staple	Stainless steel 90 deg & 26 degree	8 & 10mm length	Detail Amendment

SU013	Uni-Clip Compression Staple	Stainless steel	Width 11mm - 30mm, Length 13mm - 32mm; 	Detail Amendment

Notched - Width 11mm - 30mm, Length 13mm -

32mm;

SU113	Hintegra Total Ankle Prosthesis	Tibial implant	Right and left, sizes 1 - 6	Detail Amendment

SU114	Hintegra Total Ankle Prosthesis	Talar implant	Right and left, sizes 1 - 5	Detail Amendment

SU115	Hintegra Total Ankle Prosthesis	Sliding insert	Sizes 1 - 5, thickness 5 - 9mm	Detail Amendment

SU116	Hintegra Total Ankle Prosthesis	Cortical fixation screw, Composition - Stainless Steel	Length 12 - 42mm	Detail Amendment

SU169	Hallu-Fix Plates	Composition - titanium, Hallu-C Plate: left and right, 	Hallu-C Plate left and right 40,45,50mm; Hallu-S 	Detail Amendment

Hallu-S Plate: left and right	Plate right 50,55mm, left 60mm

SU174	SEM Rotator Cuff Tendon and Prosthesis for 	Polyester	1, 2, 3, 4	Detail Amendment

Tenoplasty

SU177	Newdeal Reinforced Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only	2 holes, 4 holes/77mm, 4 holes/112mm	Detail Amendment

with Newdeal Screws/lock screws

SU178	Newdeal Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only	2-4 hole plates	Detail Amendment

with Newdeal screws/lock screws.

SU179	Newdeal Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only	5 - 9 hole plates	Detail Amendment

with Newdeal screws/lock screws

SU180	Newdeal Distal Humeral Plates	Composition - 316L Stainless Steel.  To be used only	Left and right	Detail Amendment

with Newdeal screws/lock screws

SU181	Newdeal Femoral Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only	8/9/10 hole, left and right	Detail Amendment

with Newdeal screws/lock screws

Changed Items for Prostheses List Report	Page 118 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SU182	Newdeal Distal Femoral Varus Osteotomy Plate	Composition - 316L Stainless Steel. To be used only 	One size only	Detail Amendment

with Newdeal screws/lock screws

SU183	Newdeal Femoral Varus and De-rotation Osteotomy 	Composition - 316L Stainless Steel.  To be used only	Newdeal Femoral Varus and De-rotation Osteotomy 	Detail Amendment

Plates	 with Newdeal screws/lock screws	Plates - 3 holes, Newdeal Femoral Varus and De-

rotation Osteotomy Plates - 4 holes, Newdeal

Reinforced Femoral Newdeal and De-rotation

Osteotomy Plates - left and right

SU184	Newdeal Proximal Humeral Plate	Composition - 316L Stainless Steel. To be used only 	'6 - 8 holes'	Detail Amendment

with Newdeal screws/lock screws

SU185	Newdeal HTO Plates	Composition - 316L Stainless Steel. To be used only 	Opening wedge HTO plates, left and right. Closing 	Detail Amendment

with Newdeal screws/lock screws.	wedge HTO plates, left and right. Reinforced closing

wedge HTO plates, left and right

SU186	Newdeal Lock Screws	For use with Newdeal bone screws and plates	Diameter 2.7mm - 6.5mm	Detail Amendment

SU187	Newdeal Screws/Lock Screws	Screws - Cancellous, Cancellous cannulated, cortical, 	Cancellous/Cancellous cannulated - Diameter 6.5mm, 	Detail Amendment

cortical cannulated plus Lock screws	Length 20mm - 100mm + Lock Screw, Cortical -

Diameter 5.0mm, Length 25mm - 45mm + Lock

Screw, Cortical - Diameter 4.5mm, Length 14mm -

65mm + Lock Screw, Cortical - Diameter 3.5mm,

Length 14mm - 32mm + Lo

SU188	Hintegra Total Ankle Prosthesis	Talar Implant - Flat talar resection	Left - Size 1-5, Right - Size 1-5	Detail Amendment

SU191	Hintegra Total Ankle Prosthesis	Tibial Implant	Right & Left, Sizes 1 - 6, Thickness 8mm or 12mm	Detail Amendment

SU193	Basal Osteotomy Plate	Titanium	5 Deg, Left and Right, 10Deg, Left and Right	Detail Amendment

SU194	Calcanea, Calcaneal Fracture Plate	Titanium	Small, Medium, Large	Detail Amendment

SU195	Calcanea Locking Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 45mm	Detail Amendment

SU196	Calcanea Variable Angle Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 45mm	Detail Amendment

SU201	Panta Arthrodesis Nail	Ankle Nail, Titanium	Diameter 10 -13 mm Length - 150-240 mm	Detail Amendment

SU202	Panta Arthrodesis Nail	Locking Screw, Titanium	Diameter 5 mmLength - 20 - 110 mm	Detail Amendment

SU203	Panta Arthrodesis Nail	End Cap, Titanium	One Size	Detail Amendment

SU204	Uni-Clip Compression Staple (Sterile)	Stainless Steel, Notched and Non-Notched	Width 11-30mm, Length 13-32mm	Detail Amendment

SU205	Solustaple Standard Staple (Sterile)	Stainless Steel	26°, 90°, 8-10mm	Detail Amendment

SU206	Spin Screw: Snap Off Screw (Sterile)	Titanium	Diameter 2-3mm, Length 10-34mm	Detail Amendment

SU207	B-BOP Plantar Basal Osteotomy Plate (Sterile)	Titanium	Moderate Correction(5°) Left, Right. Severe 	Detail Amendment

Correction (10°) Left, Right

SU208	Bold Compression Screw (Sterile)	Cannulated Titanium	10-34mm	Detail Amendment

SU221	Newdeal Surfix Style Screws	Titanium bone screw +locking screw for the fixation 	Diameter 3.5mm, Length 10-50mm; Diameter 4.5mm,	Detail Amendment

of specific Newdeal bone plates	 length 14-65mm; Diameter 6.5, length 20-100mm

SU222	Qwix Screw	Self drilling, self tapping, cannulated, titanium screws.	Diameter 3.0mm-7.5mm, length 10mm-120mm	Detail Amendment

Surgical Specialties

Specialist Orthopaedic

SQ017	CBS Screw	Titanium Compression Screw, Cannulated	1-1.5mm	Detail Amendment

Changed Items for Prostheses List Report	Page 119 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Surgiplas Medical

Plastic and Reconstructive

SP010	Nagor Tissue Expander	Remote port - silicone shell	10 to 2000cc	Detail Amendment

SP011	Nagosil SFS-LP-Saline Filled Low Profile Smooth 	Smooth surface	100 to 600cc	Detail Amendment

Surface Breast Prostheses, Nagosil SFS-HP-Saline

Filled High Profile Smooth Surface Breast Prostheses

SP012	Nagotex SFX-LP-Saline Filled Low Profile Textured 	Textured surface	100 to 600cc	Detail Amendment

Surface, Nagotex SFX-HP-Saline Filled High Profile

Textured Surface Breast Prostheseses

SP045	Logic Distraction System	Distractor, spacers & activation set	Straight, Curved 18-52mm	Detail Amendment

SP047	Gel Filled Mammary Prosthesis Models GFX-LP, 	Textured Round	80 to 800ml	Detail Amendment

GFX and GFX-EHP

SP049	Gel Filled Mammary Prosthesis Models CoGel-XR, 	CoGel High Cohesive	100 to 790gm	Detail Amendment

CoGel-XRH, CoGel-XL, CoGel- XM and CoGel XA

SP105	OsteoMed Plating & Fixation System	Plates	50 x 50mm Bioresorbable Mesh; Mesh 11 to 25 cm2 	Detail Amendment

area

Specialist Orthopaedic

SP029	OsteoMed Plating & Fixation System	Plates - Fracture; Screws - Cannulated Lag	6 Hole Fracture Plate 47 - 52mm; 2 x 2 Hole Angled 	Detail Amendment

Fracture Plate; 3 x 3 Hole Angled Fracture Plate;

6.5mm x (30 -150)mm; 7.3mm x (30 - 150)mm

SP035	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (6 - 16)mm; 2.4mm x (6 - 20)mm	Detail Amendment

SP036	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (18 - 42)mm; 2.4mm x (22 - 50)mm	Detail Amendment

SP037	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (10 x 28)mm; 4.0mm x (12 - 30)mm	Detail Amendment

SP038	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (30 x 40)mm; 4.0mm x (32 - 52)mm	Detail Amendment

SP050	The Radius Plating System - Screws	The Radius System - 2.7-3.0mm diameter Locking 	2.7-3.0mm diameter screws, 8-38mm length.	Detail Amendment

anchor, cancellous, bone screws.

SP051	CONTOUR Hand Screws	Screws	1.2, 1.7 and 2.3mm in diameter screws ranging 	Detail Amendment

between 4 and 24 mm in length.

SP052	CONTOUR Hand	Contour Hand - Plates	XS / S / M / L; straight plate 4-16 hole; Z plate, Y 	Detail Amendment

plate, T plate, L plate 5-9 hole; Straight plate, T plate

with stabilizers 5-6 hole; Square, Grid-rectangular

plate 4-8 hole; Straight, T, Y Compression Plate 4-7

hole; Condylar plate w/out stabilizer 5-6 hole.

SP053	The Radius Plating System - Locking Plates	Distal radius plate system	Fracture plates volar and dorsal 2.0mm thickness, left	Detail Amendment

and right of short and long.

SP054	ExtremiFix Screws	Headless Cannulated Compression Screw	Diameter 2.0mm, 2.4mm, 3.0mm, 4.0mm. Length 	Detail Amendment

10mm to 52mm.

SP055	Hemi-Great Toe Implant	Great Toe implant, Cobalt Chromium	XS, S, M, L	Detail Amendment

SP056	Bio-Action Great Toe Implant	Bio-Action Phalangeal Implant, Titanium Alloy and 	Small neutral/ small modified/ large modified.	Detail Amendment

UHMWPE.

SP057	Bio-Action Great Toe System	Bio-Action Metatarsal Implant Cobalt Chrome	Small neutral / small left/ small right/ large neutral	Detail Amendment

Changed Items for Prostheses List Report	Page 120 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SP061	Reflexion 1st MPJ Implant System	Reflexion metatarsal stems, 3 part 1st MPJ 	Small, medium, large	Detail Amendment

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SP062	Reflexion 1st MPJ Implant System	Reflexion metatarsal heads, 3 part 1st MPJ 	Standard, long, extra-long	Detail Amendment

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SP063	Reflexion 1st MPJ Implant System	ReflexionPhalangeal Bases, 3 part 1st MPJ 	Small, medium, large	Detail Amendment

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

Synthes Australia Pty Ltd

Neurosurgical

SY448	Spinal Fixation System	Locking Cap	One Size	Detail Amendment

SY454	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	>55	Detail Amendment

SY519	Vectra Anterior Spinal System	Cervical Plate	>55	Detail Amendment

Orthopaedic

SY281	Norian®	Injectable Bone Cement	5cc	Detail Amendment

SY282	Norian®	Injectable Bone Cement	10cc	Detail Amendment

SY331	Norian®	Fast Set Putty	5cc	Detail Amendment

SY332	Norian®	Fast Set Putty	10cc	Detail Amendment

Plastic and Reconstructive

SY345	Titanium Sternal Fixation System	Titanium Emergency Release Pin	One Size only	Detail and Benefit Amendment

SY347	Titanium Sternal Fixation System	Locking Plate - straight	20 or 30 holes	Detail and Benefit Amendment

SY391	PolyMax Resorbable Fixation System	1.5/2.0 Orbital Floor Plate	S, M, L	Detail Amendment

SY399	Alveolar Distractor	Vertical mandibular, maxilla alveolar ridge distractor	8-16mm	Detail Amendment

SY408	Mandible External Fixator	Three Quarter Mandible	One size	Detail Amendment

SY409	Mandible External Fixator	Full Mandible	One size only	Detail Amendment

SY410	Mandible External Fixator	Full Mandible Ramus	One size	Detail Amendment

SY411	Mandible External Fixator	Hemi Mandible	One size	Detail Amendment

SY510	CMF Rapid Resorbable fracture or reconstruction 	Sterile Rapid resorbable reconstruction plate	1.0 to 1.99mm thick,15 to 32 holes	Detail Amendment

Specialist Orthopaedic

SY016	AO/ASIF Plates	Cloverleaf	3-6 hole, length 104mm	Detail Amendment

SY017	AO/ASIF Plates	Calcaneal	Length 60 - 70mm	Detail Amendment

SY018	AO/ASIF Plates	Reconstruction Plate	2 - 24hole	Detail Amendment

SY019	AO/ASIF Plates	Steel, left & right,  T & L plates	3-12 hole	Detail Amendment

Changed Items for Prostheses List Report	Page 121 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SY020	AO/ASIF Plates	Spoon plate	5-12 hole	Detail Amendment

SY023	AO/ASIF Plates	Steel, left & right, lateral, proximal, tibial, buttress, 	3-13 hole	Detail Amendment

4.5mm lateral tibial

SY024	AO/ASIF Plates 	Cobra head	8-11 hole	Detail Amendment

SY029	AO/ASIF Plates 	straight & shaped plate	2.0mm - 2.7mm, 2 - 50 hole	Detail Amendment

SY030	AO/ASIF Plates	DHS plates	130-150 deg/ 2-16 hole / 43-27mm length / barrel 25 - 	Detail Amendment

38mm

SY033	AO/ASIF Plates 	Semi tubular	2 - 28 hole	Detail Amendment

SY034	AO/ASIF Plates 	Broad DCP	2-28 hole	Detail Amendment

SY035	AO/ASIF Plates	 4.5mm broad,  DCP/LCDCP	2-28 hole	Detail Amendment

SY036	AO/ASIF Plates	1/3 Tubular plate	2-28 hole	Detail Amendment

SY037	AO/ASIF Plates	Wrist fusion plate	2-28 hole	Detail Amendment

SY038	AO/ASIF Plates	DHS Trochanteric stabilising plate	3-16 hole	Detail Amendment

SY040	AO/ASIF Plates	Osteotomy plate - adult 	4 Hole /blade 40 - 110mm / 90-130 deg	Detail Amendment

SY041	AO/ASIF Intramedullary Nails	Femoral Nail	7.0mm-19mm dia 200-600mm length	Detail Amendment

SY046	AO/ASIF Plates	condylar plate	2.0mm - 2.7mm	Detail Amendment

SY049	AO/ASIF Screws	Mini cannulated screw	3.0mm dia / 8 - 40mm length	Detail Amendment

SY050	AO/ASIF Screws	Plate pin	1.8mm buttress pin 12 - 30mm	Detail Amendment

SY051	AO/ASIF K-Wires, Pins, Washers	Seldrill	4.0/3.0mm & 4.0 - 6mm / 80 - 250mm L	Detail Amendment

SY052	AO/ASIF Plates	Distal radius plate - volar plates - left & right	2.4mm	Detail Amendment

SY053	AO/ASIF Plates	DHS/DCS plate	125-160deg 2-28 hole	Detail Amendment

SY054	AO/ASIF Plates	DHS/DCS lag screw	50-145mm L	Detail Amendment

SY056	Cortex Screws	2.7mm - 5.0mm diameter, 5mm - 150mm length	Detail Amendment

SY057	AO/ASIF K-Wires, Pins, Washers etc	Wire mount & spacer	2mm - 6mm	Detail Amendment

SY059	AO/ASIF Plates	Unilock, angled, straight, T, Y, condylar, DCP, 	2mm - 50mm	Detail Amendment

LCDCP, left & right, mandible and locking plates

SY060	AO/ASIF Intermedullary Nails	Cannulated and Solid Tibial Nail	7.0mm-19mm dia 200-600mm length	Detail Amendment

SY064	Titanium Elastic Nail	1.5mm - 4.0mm	Detail Amendment

SY065	Cortex Screw	Cortex Screw	≤2.7mm	Detail Amendment

SY068	AO/ASIF Screws	Cancellous,- ligament, bunionectomy, full & short 	4.0mm dia / 10 - 105mm	Detail Amendment

thread

SY069	AO/ASIF Screws	Malleolar Screws	25mm - 110mm	Detail Amendment

SY071	AO/ASIF Screws Steel	Cannulated screws	2.7mm-4.49mm	Detail Amendment

SY072	AO/ASIF Screws Steel	Cannulated screws	1/3 thread & long thread / 10 - 50mm /4.0mm 	Detail Amendment

cannulated

SY073	AO/ASIF Screws Steel	4.5mm cannulated screws	Short thread, 1/3 thread, full thread / 20 - 72mm, 	Detail Amendment

4.5mm cannulated

SY074	AO/ASIF Screws Steel	Cannulated screws	≥4.50mm	Detail Amendment

Changed Items for Prostheses List Report	Page 122 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SY076	AO/ASIF Screws Steel	Cannulated implant 	Custom made	Detail Amendment

SY082	AO/ASIF Screws	Cancellous screws	10-150mm L	Detail Amendment

SY085	AO/ASIF Screws	Cannulated screws	Diameter 5.0 - 7.3mm, 20-150mm L	Detail Amendment

SY087	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wire single ended	0.06 - 3.0mm / length 70 - 400mm	Detail Amendment

SY089	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wires threaded	0.25 & 15mm / dia .08 - 3.0mm & length 70-300mm	Detail Amendment

SY091	AO/ASIF k-Wires, Pins, Washers etc	Pinless pins/clips	Asymetric small and large	Detail Amendment

SY092	AO/ASIF K-Wires, Pins, Washers etc.	Washers/nuts	1.0mm - 16mm dia	Detail Amendment

SY093	AO/ASIF Plates	Specially manufactured plate all sizes	Custom made	Detail Amendment

SY097	AO/ASIF Plates - Steel	broad straight plate DCP/LCDCP	4.5mm, 2 - 28 hole	Detail Amendment

SY100	AO/ASIF Plates	4.5mm Hook Plate	3-12 hole	Detail Amendment

SY101	AO/ASIF Plates	Osteotomy Plate - Adult / LC angle blade / 	4 hole, 5-6 hole/30-40mm blade length/ 90 - 100 deg, 	Detail Amendment

cannulated angle blade	10- 20 mm displacement

SY102	AO/ASIF Plates	Osteotomy plate - adolescent	90 deg, blade 40 - 60mm, displ 10 - 15mm	Detail Amendment

SY103	AO/ASIF Plates	Osteotomy plate - infant	Child, toddler & infant, 115 deg bifurcated, blade 25 -	Detail Amendment

45mm, 80 - 100 deg, 4 - 8mm offset, displ 7 - 12mm,

height 49- 54mm

SY104	AO/ASIF Plates	Osteotomy plate - high tibial	95 deg condylarprox tibia , 50-60 mm, displ 15-	Detail Amendment

SY105	AO/ASIF Plates - Steel	Condylar & small condylar, angled plate	5 - 24 hole, blade length 50 - 90mm, 95 degree	Detail Amendment

SY106	AO/ASIF Plates - Steel	Angled blade plate	3 - 26 hole,  length 25 - 110mm, 90 - 130 degree	Detail Amendment

SY107	AO/ASIF Plates - Steel	DCS DHS plate	95 - 150 degree, 2 - 22 hole, length 25 - 38mm barrel	Detail Amendment

SY109	AO/ASIF Plates	DHS/DCS compression screw	36mm length	Detail Amendment

SY110	AO/ASIF Plates	DHS/DCS locking device screw	One size only	Detail Amendment

SY111	AO/ASIF Plates	Specially manufactured plate	1.0mm - 6.5mm	Detail Amendment

SY112	AO/ASIF Plates	Plate	1.0mm - 2.7mm	Detail Amendment

SY113	AO/ASIF Plates	2.0mm condylar	Left & right	Detail Amendment

SY114	AO/ASIF Plates	3.5mm  - 5.0mm Straight DCP/LCDCP	2-28 hole	Detail Amendment

SY115	AO/ASIF Plates	3.5mm, T- PLATE - right & oblique angle	2-8 hole	Detail Amendment

SY116	AO/ASIF Plates	4.5mm recon plate	2-28 hole	Detail Amendment

SY117	AO/ASIF Plates	T & L plate  - left & right	 ≥4.5mm diameter	Detail Amendment

SY118	AO/ASIF Plates	4.5mm, head buttress plate lateral tibial left & right	5 - 15 hole	Detail Amendment

SY121	AO/ASIF Plates	Condylar, angled plate	4-22 hole	Detail Amendment

SY122	AO/ASIF Plates	Angled plate	4-22 hole	Detail Amendment

SY124	AO/ASIF Intramedullary Nails	Proximal sleeve	Standard 130 deg antigrade, spiral blade	Detail Amendment

SY125	AO/ASIF Intramedullary Nails	End cap	0 - 40mm	Detail Amendment

SY126	AO/ASIF Intramedullary Nails	Spiral blade	Length 20 - 150mm	Detail Amendment

SY127	AO/ASIF Intramedullary Nails	Shaft screw	5.0mm , length 70 - 125mm	Detail Amendment

Changed Items for Prostheses List Report	Page 123 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SY128	AO/ASIF Intramedullary Nails	Tibial unreamed - steel	8 - 9 mm , length 255 - 420mm	Detail Amendment

SY129	AO/ASIF Intramedullary Nails	Humeral Nail	6.0 - 12.0 mm length 100 - 400mm	Detail Amendment

SY130	AO/ASIF Arthrodesis system	Arthrodesis	26 - 240mm	Detail Amendment

SY131	AO/ASIF Intramedullary Nails	Locking bolts - steel	3.9 - 4.9mm , length 18 - 100mm	Detail Amendment

SY132	AO/ASIF Intramedullary Nails	Locking bolts	3.0mm-6.0mm Dia 10-150mm Length	Detail Amendment

SY153	AO/ASIF Plates - Steel	Osteotomy plate - shoulder	Dislocation 80-90 deg.  blade length 35 - 40mm	Detail Amendment

SY161	LCP Plate	1/3 Tubular Plate	Dia 3.5mm, length 2-16 hole	Detail Amendment

SY162	LCP Plate	Distal Tibial Plate, sterile/non-sterile	Dia 3.5 - 5.0mm, length 4-24 hole	Detail Amendment

SY163	LCP Plate	Tibial Plate, Sterile/Non Sterile	1 - 24 hole	Detail Amendment

SY164	LCP Plate	Distal Femoral Buttress Plate, Sterile/Non Sterile	Dia 5.0mm, length 4-22 hole	Detail Amendment

SY165	LCP Plate	Tomofix Plate, Sterile/Non Sterile	Dia 5.0mm, length 2-8 hole	Detail Amendment

SY166	LCP Plate	Locking Proximal Humeral Plate, sterile/non sterile	Dia 3.5mm, length 3-12 hole	Detail Amendment

SY172	LCP Plate	Straight Plate, Sterile/Non Sterile	Dia 3.5 - 5.0mm, length 2-20 hole	Detail Amendment

SY173	AO/ASIF Screws	Self drilling, Self Tapping, Conical Locking, 	Diameter 3.5 - 5.0mm, Length 8 - 100mm	Detail Amendment

Sterile/Non-Sterile

SY188	AO/ASIF Plates	Calcaneal, Locking	3.5mm, 30 - 100mm	Detail Amendment

SY193	Orthopaedic External Fixator Systems	Rod / Bar	2.0mm-15.0mm dia 20.0mm-445mm L	Detail Amendment

SY194	Orthopaedic External Fixator Systems	Curved and straight rod - carbon fibre	4mm - 11mm	Detail Amendment

SY195	Orthopaedic External Fixator Systems	Protective caps for rods, protection caps	One size only	Detail Amendment

SY196	Orthopaedic External Fixator Systems	Rod/Bar	450mm length - 650mm Length	Detail Amendment

SY197	Orthopaedic External Fixator Systems	Hybrid Rings	11mm diameter 1/4 ring - 205mm diameter full ring	Detail Amendment

SY198	Orthopaedic External Fixator Systems	Distractors and lengthening apparatus	Mini - lengthening apparatus, mini - 	Detail Amendment

distractor/lengthening apparatus, medium and large

distractor

SY199	Orthopaedic External Fixator Systems	External fixator clamps, double clamp	4-6mm Diameter	Detail Amendment

SY200	Orthopaedic External Fixator Systems	External fixator clamps, transverse clamp	4-6mm Diameter	Detail Amendment

SY201	Orthopaedic External Fixator Systems	External fixator clamps, clamp or open clamp	1.25-8.0mm Diameter	Detail Amendment

SY202	Orthopaedic External Fixator Systems	External fixator clamps, clamp for hybrid	1.8-11mm Diameter	Detail Amendment

SY203	Orthopaedic External Fixator Systems	External fixator clamps, tube to tube/universal clamp	11mm Diameter	Detail Amendment

SY204	Orthopaedic External Fixator Systems	External fixator clamps, open/clip on clamp	4-6mm Diameter	Detail Amendment

SY205	Orthopaedic External Fixator Systems	External fixator clamps, connecting clamp	3-4mm Diameter	Detail Amendment

SY206	Orthopaedic External Fixator Systems	External fixator clamps, adjustable clamp	4.0mm	Detail Amendment

SY207	Orthopaedic External Fixator Systems	External fixator clamp components, threaded rod, 	8 - 14mm diameter	Detail Amendment

MRI Safe

SY224	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece	1.25-11.0mm	Detail Amendment

SY228	Orthopaedic External Fixator Systems	External fixator clamp components, vice/connecting 	1.25-8.0mm	Detail Amendment

plate

Changed Items for Prostheses List Report	Page 124 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SY230	Orthopaedic External Fixator Systems	External fixator clamp components, intermediate 	1.25-6.0mm	Detail Amendment

SY233	Orthopaedic External Fixator Systems	External fixator clamp components, angle	3mm	Detail Amendment

SY234	Orthopaedic External Fixator Systems	External fixator clamp components, angulator	3mm	Detail Amendment

SY236	Orthopaedic External Fixator Systems	External fixator clamp components, halo with visor	1.25-6.0mm	Detail Amendment

SY237	Orthopaedic External Fixator Systems	3 degree, 6 degree, 11 degree. Medium, Large	1.25-6.0mm	Detail Amendment

SY238	Orthopaedic External Fixator Systems	External fixator clamp components, connecting tube	1.25-6.0mm	Detail Amendment

SY239	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece with	1.25-8.0mm	Detail Amendment

nut

SY240	Orthopaedic External Fixator Systems	External fixator clamp components, bar for lower jaw 	1.25-6.0mm	Detail Amendment

for children

SY242	Orthopaedic External Fixator Systems	External fixator clamp components, bar for upper jaw	1.25-6.0mm	Detail Amendment

SY246	Orthopaedic External Fixator Systems	External fixator clamp components, sliding carriage	1.25-6.0mm	Detail Amendment

SY247	Orthopaedic External Fixator Systems	External fixator clamp components, double joint	1.25-6.0mm	Detail Amendment

SY249	AO/ASIF K Wires, Pins Washers - Steel/Ti Sterile & 	Hybrid Pins - Spade point wires/reduction wires	1.5, 2.0mm Diameter	Detail Amendment

Non Sterile

SY253	AO/ASIF Plates	Foot & hand plates - steel - titanium multiple hole	1 - 4mm	Detail Amendment

SY257	A/O/ASIF K-wires, Pins, Washers etc - Steel - Sterile	Cerclage Wire - coils with and without eye	0.4-2.5mm	Detail Amendment

& Non Sterile

SY259	Locking Distal Radius Plate System	Small & Mini Fragment Plates - Volar Plate	LCP - Volar Plate 2.4mm Left & Right, 2.4 Volar 	Detail Amendment

Plates Straight

SY262	AO/ASIF Intramedullary Nails	Femoral Nail	9-15mm dia / 120-150 deg / 170 - 500mm Length	Detail Amendment

SY263	AO/ASIF Intramedullary Nails	Hip Pin	30-200mm Length	Detail Amendment

SY264	AO/ASIF Intramedullary Nails	Distal Femoral Nail - DFN	9-15mm / 160-420mm Length	Detail Amendment

SY265	AO/ASIF Intramedullary Nails	Locking Screws	15 -150mm	Detail Amendment

SY266	AO/ASIF Screws	Malleolar Screws	20.0 - 45.0mm	Detail Amendment

SY270	AO/ASIFIntramedullary Nails	Antegrade/Retrograde Femoral Nail	Diameter 6.5-18mm, Length 30-500mm	Detail Amendment

SY276	Spine Cable System	Single Lead	One size only	Detail Amendment

SY277	Spine Cable System	Double Lead	One size only	Detail Amendment

SY279	Small & Mini Fragment Plates	Locking Distal Radius Plate System	LCP Dorsal T, L, Straight Plates 2.4mm Long/Short	Detail Amendment

SY280	Small & Mini Fragment Plates	Locking Distal Radius Ulna Column Plate System	2.0mm - 2.4mm	Detail Amendment

SY283	LCP Plate	LCP  Olecranon Plate, left and right, non sterile/sterile	2-20 hole plates	Detail Amendment

SY284	LCP Plate	LCP Distal humerus plate, dorso-lateral, left and 	2-20 hole plates	Detail Amendment

right, non sterile/sterile; LCP Distal humerus plate,

dorso-lateral with support, left and right, non

sterile/sterile; LCP Distal humerus plate, medial, left

and right, non sterile/sterile

SY285	AO/ASIF Blade	Helical blade	50-150mm length	Detail Amendment

SY292	Facet Interference Screw	Cannulated Screw	7.5mm	Detail Amendment

SY320	AO/ASIF Screw	Locking Head Screw 2.0mm	Length: 6-40mm	Detail Amendment

Changed Items for Prostheses List Report	Page 125 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

SY321	AO/ASIF Screw	2.4mm Cannulated Screw	Short thread 15-40mm; Long Thread 5-35mm	Detail Amendment

SY350	AO/ASIF Plate	Reconstruction Plate	2-24 holes	Detail Amendment

SY351	AO/ASIF Plates	Calcaneal Plating System	3.5mm, 30-100mm length	Detail Amendment

SY352	Cortex Screws	Cortex Screws pack of four	1.00mm 2.6mm diameter, 5mm - 100mm length	Detail Amendment

SY353	Cortex Screws	Cortex Screws pack of four	2.7mm - 5.0mm diameter, 5.0mm - 100mm Length	Detail Amendment

SY354	Small & Mini Fragment Plates	LCP Radial Head Plates	2.4mm	Detail Amendment

SY376	LCP Plate	Proximal Femur Plate	2-26 Hole	Detail Amendment

SY377	Orthopaedic Cable System	Cable with Crimp	1.0mm - 1.7mm, 750mm	Detail Amendment

SY378	Trochanteric Reattachment Device	Titanium alloy reattachment device with cables	Standard and Long	Detail Amendment

SY416	AO/ASIF Intramedullary Nails ASLS	Intramedullary Angular Stable Locking System	4-6mm, 26-125mm	Detail Amendment

SY417	Titanium Wire, Barb and Needle	Titanium wire surture and needle with titanium alloy 	One size only	Detail Amendment

barb fixation

SY418	Distraction Osteogenesis Ring System	Bolt-connecting, clamp, eye, wire offset, wire slotted,	One size	Detail Amendment

MRI safe.

SY419	Distraction Osteogenesis Ring System	Spherical/Spacing Washer; Nut-Speed, Square, 	1mm-50mm	Detail Amendment

Hexagonal, Standoff; MRI Safe

SY420	Distraction Osteogenesis Ring System	Wire Post MRI Safe	Short, Long	Detail Amendment

SY421	Distraction Osteogenesis Ring System	Threaded Rod, MRI Safe	250mm-350mm	Detail Amendment

SY422	Distraction Osteogenesis Ring System	Femoral Arch Plate, Titanium	90mm-120mm, 180mm-240mm	Detail Amendment

SY423	Distraction Osteogenesis Ring System	Femoral Arch Plate, Carbon Fibre	90mm-120mm, 180mm-240mm	Detail Amendment

SY424	Distraction Osteogenesis Ring System	Half,5/8 Ring, MRI Safe, Titanium	80mm-240mm Diameter	Detail Amendment

SY425	Distraction Osteogenesis Ring System	Full Ring, MRI safe, Titanium	140mm-200mm Diameter	Detail Amendment

SY426	Distraction Osteogenesis Ring System	Half, 5/8 ring, carbon fibre	100mm-200mm Diameter	Detail Amendment

SY427	Distraction Osteogenesis Ring System	Foot Plates, Carbon Fibre	100mm-180mm	Detail Amendment

SY428	Distraction Osteogenesis Ring System	Locking Hinge, MRI safe	One Size	Detail Amendment

SY430	Epoca Custom Offset Shoulder Prosthesis	Epoca Stem	6 - 14mm, Length: 115 - 215mm	Detail Amendment

SY431	Epoca Custom Offset Shoulder Prosthesis	Epoca ZF Cementless Stem	6 - 14mm, Length: 115 - 135mm	Detail Amendment

SY432	Epoca Custom Offset Shoulder Prosthesis	Epoca Head	40 - 54mm, Height: 15 - 20.25mm	Detail Amendment

SY433	Epoca Custom Offset Shoulder Prosthesis	Epoca Eccenter	One size only	Detail Amendment

SY434	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid	40mm - 54mm	Detail Amendment

SY435	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid Screw	8-30mm	Detail Amendment

SY436	Epoca Custom Offset Shoulder Prosthesis	Epoca Reco Glenoid	42 - 52mm	Detail Amendment

SY437	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid Insert	42 - 54mm	Detail Amendment

SY438	Epoca Resurfacing Head	The humeral head surface replacement is designed to 	Diameter 40 - 54mm	Detail Amendment

replace the humeral articulating surface and is chrome

cobalt with hydroxyapatite coating underneath

Tekmed Pty Ltd

Changed Items for Prostheses List Report	Page 126 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Vascular CAG

TK005	Medcomp Long Term Catheter sets for Haemodialysis	ASH, TESIO-BioFlex with cuff	10, 14 French   24,28,32 & 36cm lengths	Detail Amendment

TK006	Medcomp Long Term Catheter sets for Haemodialysis	HemoFlow HFS-Carbothane with cuff	14.5 French   24,28,32 & 36cm lengths	Detail Amendment

TK007	Pro-PICC CT power injection and PICC therapy 	Mecomp Pro-PICC CT power injection and PICC 	Single and double lumen, 4, 5, and 6 french, 65cm or 	Detail Amendment

catheter sets	therapy catheter sets, incl. micro-puncture set, 	130cm nitinol guidewire

tearaway introducer sheath, nitinol marked guidewire

with platinum tip, positive pressure valved cap(s),

syringe, statlock, mini scalpel, 21g echo tip needle

Terumo Corporation Australia

Cardio-thoracic

TU001	Tsunami Gold	Stainless Steel mounted on balloon catheter	Diameter 2.0mm - 4.0mm, Length 8mm - 30mm 	Benefit Amendment

Vascular CAG

TU002	Anaconda Endovascular Graft System	Bifurcated Aortic System, Ultrathin woven 	18 - 34mm	Detail and Benefit Amendment

polyester, nitinol ring stents, tantalum markers

TU003	Anaconda Endovascular Graft System	Aortic Extension Cuff. Ultrathin woven polyester, 	18 - 34mm	Detail and Benefit Amendment

nitinol ring stents, tantalum markers

TU004	Anaconda Endovascular Graft System	Iliac Extension Cuff. Ultrathin woven polyester, 	8 - 18mm	Detail and Benefit Amendment

nitinol ring stents, tantalum markers

TU005	Anaconda Endovascular Graft System	Iliac Leg, Ultrathin woven polyester, nitinol ring 	8 - 18mm	Detail and Benefit Amendment

stents, tantalum markers

TU006	Twillweave Graft	Straight, Polyester, Woven, Unsealed	6-24mm x 50-60cm	Detail and Benefit Amendment

TU007	Twillweave Graft	Bifurcate, Polyester, Woven, Unsealed	12mm x 6mm x 45cm to 24mm x 12mm x 45cm	Detail and Benefit Amendment

TU008	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	5 to10mm x 30 to 40cm	Detail and Benefit Amendment

Fluoropolymer/polyester, Knitted

TU009	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	5 to10mm x 50 to 70cm	Detail and Benefit Amendment

Fluoropolymer/polyester, Knitted

TU010	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. 	5 to10mm x 30 to 40cm	Detail and Benefit Amendment

Fluoropolymer/polyester, Knitted

TU011	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. 	5 to10mm x 50 to 70cm	Detail and Benefit Amendment

Fluoropolymer/polyester, Knitted

TU013	Gelweave Graft	Bifurcated, Polyester, Woven	12mmx 6mmx 45 cm to 24mmx12mm x 45cm	Detail and Benefit Amendment

TU014	Gelsoft Plus Graft	Bifurcated, Polyester, Knitted	12mmx6mmx45cm to 24mmx12mmx45cm	Detail and Benefit Amendment

TU016	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 75m	Detail and Benefit Amendment

TU017	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 100cm	Detail and Benefit Amendment

TU018	Gelsoft Plus Graft	Axillo-bifemoral, Polyester, Knitted, Externally 	8x8mm/100x60cm; 8x7mm/90x40cm; 10x8mm/90x40cm	Detail and Benefit Amendment

reinforced

TU019	Gelsoft Plus Graft	Femoro-femoral, Polyester, Knitted, Externally 	6mmx30cm to  8mmx40cm	Detail and Benefit Amendment

reinforced

TU020	Gelsoft Plus Graft	Straight, Polyester, Knitted	6 - 24mm x 12.5 - 30cm	Detail and Benefit Amendment

TU021	Gelsoft Plus Graft	Straight, Polyester, Knitted	6-24mm x 50-60cm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 127 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

TU022	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 10-40cm	Detail and Benefit Amendment

TU023	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 50-60cm	Detail and Benefit Amendment

TU025	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	Detail and Benefit Amendment

TU026	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	Detail and Benefit Amendment

TU027	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	Detail and Benefit Amendment

TU028	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	Detail and Benefit Amendment

TU029	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally 	5 to 10mm x 10 to 40cm	Detail and Benefit Amendment

Reinforcement, PTFE

TU030	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally 	5 to 10mm x 50 to 80cm	Detail and Benefit Amendment

Reinforcement, PTFE

TU032	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally Reinforced, 	5 to 10mm x 60 to 80cm	Detail and Benefit Amendment

PTFE

TU033	SEALPTFE Graft	Standard Wall, Tapered, Sealed, PTFE	4 to 7mm Taper x 45 to 50cm	Detail and Benefit Amendment

TU035	SEALPTFE Graft	Thin Wall, Straight, Sealed externally Reinforced, 	5 to 10mm x 50cm	Detail and Benefit Amendment

Vascular Artificial Arteries/Prostheses of PTFE,

Sealed with Gelatin

TU039	Rapidax™ Rapid Access Haemodialysis Graft	Triple layered self sealing haemodialysis Access 	6mm x 20-40cm	Detail and Benefit Amendment

Graft. ePTFE internal and external layer with

proprietary elastomer inner layer - Straight and Pre-

TU040	Rapidax™ Rapid Access Haemodialysis Graft	Triple layered self sealing haemodialysis Access 	6mm x 45-50cm	Detail and Benefit Amendment

Graft. ePTFE internal and external layer with

proprietary elastomer inner layer - Straight and Per-

TU041	Anaconda Endovascular Graft System	Flared iliac limb.  Ultrathin woven polyester, nitinol 	Diameter: proximal end 12-17mm, distal end 15-	Detail and Benefit Amendment

ring stents, tantalum markers	23mm; Length:  80-130mm

Tornier Pty Ltd

Specialist Orthopaedic

TO002	Aequalis Primary Shoulder Prostheses	Aequalis Primary stem, Ti Ta	6.5-15mm - 1mm increm wide, 66-167mm long	Detail Amendment

TO003	Aequalis Primary Shoulder Prostheses	Aequalis Primary Eccentric Humeral Head, CoCr	Diameter: 37,39,41,43,46,48,50,52mm	Detail Amendment

TO004	Aequalis Primary Shoulder Prostheses	UHMWPE Keeled Glenoid Component	31mm,35mm,39mm dia (small, medium & large)	Detail Amendment

TO006	Bone Plug	UHMWPE - Cement Plug	24mm	Detail Amendment

TO011	Aequalis Shoulder Prostheses Reverse	CoCr Reverse Humeral Neck	diameter 36 & 42mm wide x 9mm high	Detail Amendment

TO013	Tornier Latitude Total Elbow Prosthesis	Ulnar Cap	Small, Medium, Large	Detail Amendment

TO014	Tornier Latitude Total Elbow Prosthesis	Radial Head, Radial Stem	Radial Head - (Small, Medium, Large); Radial Stem - 	Detail Amendment

(Diameter - 5mm, 6.5mm)

TO015	Aequalis Pegged Glenoid USA	Pegged Glenoid Polyethylene (UHMWPE)	Small, Medium, Large, Extra Large	Detail Amendment

TO029	Aequalis Fracture Shoulder HA Coated	Fracture shoulder humeral stem Cobalt Chrome, HA 	Diam 6.5mm - 130mm and 170mm lengths, Diam 	Detail Amendment

coated	9mm - 130mm, 180mm and 210mm lengths. Diam

12mm - 130mm, 180mm and 210mm lengths

TO030	Aequalis Humeral Plate	Proximal Humeral Plate	90mm length with 3-holes shaft and 120mm length 	Detail Amendment

with 5-hole shaft

Changed Items for Prostheses List Report	Page 128 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

TO031	Aequalis Resurfacing Shoulder	Resurfacing humeral head	12 head sizes from 37mm x 13.5mm to 54mm x 	Detail Amendment

27mm, 3 stem lengths: 30, 35 and 40mm

TO032	Aequalis Humeral Plate Screws	Proximal humeral plate screws (Cancellous self-	Proximal locking screws: 4mm, cortical self tapping 	Detail Amendment

tapping locking screws, Cortical self-tapping locking 	locking screws: 20 to 60mm length; proxmial inferior

screws or Cortical Self-tapping compression screws)	locking screws: 3.5mm, cortical self tapping locking

screws: 10 to 40mm length; distal compression

screws: 3.5mm, cortical self-tapping compression and

locking screws: 10 to 50mm length

TO037	Aequalis Reversed Shoulder - Revision Base Plate 	Long pegged base plate/ metaglene for revision 	One Size: Long Peg	Detail Amendment

(Metaglene)	reversed shoulder.

TO038	Aequalis Reversed Shoulder Eccentric Glenosphere	Eccentric Glenoid Sphere for Aequalis Reversed 	36mm and 42mm, eccentricity +2mm, 4mm or 6mm.	Detail Amendment

Shoulder

TO039	Aequalis Reversed Shoulder Wear Compensation 	Wear Compensation Glenoid Sphere for Aequalis 	36mm and 42mm, wear compensation 5 degrees or 10	Detail Amendment

Glenosphere	Reversed shoulder.	 degrees, combination wear compensation 5 degrees

or 10 degrees and eccentricity +2mm, 4mm or 6mm.

TO040	Aequalis Reversed Shoulder Eccentric humeral Insert 	Eccentric Humeral Insert (High Mobility Cup) for 	36mm and 42mm, 2mm eccentric +6mm and +9mm, 	Detail Amendment

(High Mobility Cup)	Aequalis Reversed Shoulder	4mm eccentric +9mm and +12mm

TO041	Aequalis Reversed Shoulder -Glenoid Base Plate	Ti HA Coated	One Size	Detail Amendment

TO042	Aequalis Reversed Shoulder -Glenoid Sphere	CoCr, Ti Alloy	D.36mm & 42mm	Detail Amendment

TO043	Aequalis Reversed Shoulder -Metaphysis (Cemented 	Cemented: CoCr and UMWHPE, Cementless: CoCr, 	D.36mm & 42mm	Detail Amendment

or Cementless)	HA Coated and UMWHPE

TO044	Aequalis Reversed Shoulder - Stem (Cemented or 	Cemented: CoCr Cementless: Ti, HA coated	D. 6.5, 9 , 12, 15mm L 100, 150, 180, 210mm	Detail Amendment

Cementless)

TO045	Aequalis Reversed Shoulder - Lateralized Insert	UMWHPE	D. 36mm +6mm, D.36mm +9mm, D.36mm +12mm, 	Detail Amendment

D.42mm +6mm, D. 42mm +9mm, D.42mm +12mm

TO046	Aequalis Reversed Shoulder - Fixation Screw for 	Titanium	D45mm, L20 to 50mm	Detail Amendment

Articular Implant

TO047	Fixation Screw for Articular Implant	Titanium	D. 4.5mm, L 18 to 45mm	Detail Amendment

TO048	Aequalis Reversed fracture-standard	Monobloc Humeral Stem CoCr and HA Coated 	Length 130mm Dia 7 9 11 13 15	Detail Amendment

proxinally

TO049	Aequalis Reversed Fracture Shoulder - Revision	Monobloc Humeral Stem CoCr and HA coated 	Length 170, 180 or 210mm Dia 7 9 11 13mm	Detail Amendment

proximally

Trewavis Surgical Instruments Pty Ltd

Specialist Orthopaedic

TS001	Trewavis Surgical Kirschner Wires	Composition: Stainless Steel, Model No: 200-000-A 	Dia 0.7-2.8mm, Length 100-230mm	Detail Amendment

to 200-930-K

TS002	Trewavis Surgical Steinmann Pins	Composition:  Stainless Steel, Model Nos: 200 - 950-	Dia 3.0 - 5.0mm	Detail Amendment

L to 200-970-Q

Ultimate Medical Pty Ltd

General Miscellaneous

UM001	LA Bubble	Balloon based local anaesthetic infusion system	One size only	Detail Amendment

Changed Items for Prostheses List Report	Page 129 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

W L Gore & Associates

Cardio-thoracic

GT223	Helex 1.5 Septal Occluder	The GORE HELEX Septal Occluder consists of an 	Diameters: 15, 20, 25, 30 and 35mm	Detail and Benefit Amendment

implantable endoprosthesis and a catheter delivery

system.  The Occluder is comprised of a nickel-

titanium (Nitinol) wire frame covered with expanded

polytetrafluoroethylene (ePTFE).  The ePTFE is

treated with

General Miscellaneous

GT065	Gore-Tex ePTFE Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 2.5 x 10cm	Detail Amendment

GT066	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 5 x 10cm (Rectangle), 5 x 10cm (Key	Detail Amendment

Hole)

GT067	Gore-Tex Mycro-Mesh	ePTFE	1mm Thickness 5 x 13cm (Configured for Vaginal 	Detail Amendment

Prolapse), 5 x 15cm

GT068	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 18 x 24cm	Detail Amendment

GT069	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 20 x 30cm	Detail Amendment

GT070	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 26 x 34cm	Detail Amendment

GT071	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 10 x 15cm	Detail Amendment

GT072	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 15 x 19cm	Detail Amendment

GT074	Gore-Tex  Mycro-Mesh Biomaterial	Configured for Inguinal Hernia repair ePTFE	1mm Thickness 6cm x 12cm	Detail Amendment

GT084	Gore-Tex MycroMesh Plus 	ePTFE	1mm Thickness 20cm x 30	Detail Amendment

GT087	Gore-Tex MycroMesh Plus 	ePTFE	1mm thickness Oval 26 x 34cm	Detail Amendment

GT092	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 7.5 x 10cm	Detail Amendment

GT093	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 8 x 12cm	Detail Amendment

GT094	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 10 x 15cm	Detail Amendment

GT095	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 15.0 x 19.0cm	Detail Amendment

GT096	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 18 x 24cm	Detail Amendment

GT097	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 20 x 30cm	Detail Amendment

GT098	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 26 x 34cm	Detail Amendment

GT099	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 10 x 15cm	Detail Amendment

GT100	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 15 x 19cm	Detail Amendment

GT101	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 18 x 24cm	Detail Amendment

GT102	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 20 x 30cm	Detail Amendment

GT103	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 26 x 34cm	Detail Amendment

GT104	Gore-Tex DualMesh PLUS  	ePTFE	1mm Thickness 7.5 x 10cm	Detail Amendment

GT107	Gore-Tex DualMesh PLUS  	ePTFE	15.0 x 19.0cm x 1mm Oval	Detail Amendment

GT116	Gore Biliary Endoprostheses	ePTFE	Short or Long Catheter 8-10mmx4-8cm	Detail Amendment

Changed Items for Prostheses List Report	Page 130 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GT201	Dualmesh Plus Biomaterial	ePTFE	8cm x 12cm x 1mm	Detail Amendment

GT202	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 1mm	Detail Amendment

GT203	Dualmesh Plus Biomaterial	ePTFE	18cm x 24cm x 1mm	Detail Amendment

GT204	Dualmesh Plus Biomaterial	ePTFE	20cm x 30cm x 1mm	Detail Amendment

GT205	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 1mm	Detail Amendment

GT206	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 2mm	Detail Amendment

GT207	Dualmesh Plus Biomaterial	ePTFE, oval	15cm x 19cm x 2mm	Detail Amendment

GT208	Dualmesh Plus Biomaterial	ePTFE,	18cm x 24cm x 2mm	Detail Amendment

GT209	Dualmesh Plus Biomaterial	ePTFE,	20cm x 30cm x 2mm	Detail Amendment

GT210	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 2mm	Detail Amendment

GT224	GORE SEAMGUARD® Bioabsorbable Staple Line 	As packaged, GORE SEAMGUARD Bioabsorbable 	Ethicon Endo-Surgery Endopath ETS45; Ethicon 	Detail Amendment

Reinforcement	Staple Line Reinforcement constitutes preformed 	Endo-Surgery Endopath ETS45; Ethicon Endo-

porous bioabsorbable sheets held into the form of 	Surgery Endopath EZ45; Ethicon Endo-Surgery

sleeves (one cartridge device, one anvil device) 	Endopath Echelon 45, Ethicon Endo-Surgery

through the use of a non-absorbable polyester braided	Endopath Echelon 60; Ethicon Endo-Surgery

suture. A TY	Endopath ETS Flex 60; USS Endo GIA Unive

GT228	GORE SEAMGUARD® Bioabsorbable Staple Line 	As packaged, GORE SEAMGUARD Bioabsorbable 	Ethicon Endo-Surgery ENDOPATH 25 and 	Detail Amendment

Reinforcement, Endoscopic Staplers	Staple Line Reinforcement constitutes preformed	PROXIMATE 25; Ethicon Endo-Surgery

ENDOPATH 29 and PROXIMATE 29; Ethicon

Endo-Surgery ENDOPATH 33 and PROXIMATE

33; Autosuture CEEA 25; Autosuture CEEA 28;

Autosuture CEEA 31; Autosuture CEEA 34;

Neurosurgical

GT054	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6 x 6cm	Detail Amendment

GT055	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6cm x 12cm	Detail Amendment

GT056	Preclude  Dura Substitute	ePTFE	0.3mm Thickness 2 x 10cm	Detail Amendment

GT057	Preclude Dura Substitute	ePTFE	0.3mm Thickness 5 x 6 cm	Detail Amendment

GT058	Preclude  Dura Substitute	ePTFE	0.3mm thickness 6 x 10cm	Detail Amendment

GT059	Preclude Dura Substitute	ePTFE	0.3mm thickness 10 x 12cm	Detail Amendment

Vascular CAG

GT006	Gore-Tex Stretch Bifurcated Graft	Stretch Bifurcated Graft with Thin Walled Limbs 	12x6mm to 24x12mm 40-50cm long	Detail and Benefit Amendment

(ePTFE)

GT008	Gore-Tex Vascular Ring Graft	Ringed Grafts REMOVABLE THIN WALL 	6-8mm Diameter x 80cm Length - Ringed Section 	Detail and Benefit Amendment

STRETCH (ePTFE)	70cm Length

GT009	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto -Pulmonary & Systemic-	3.5-5mm Diameter x 15-20cm Length	Detail and Benefit Amendment

Pulmonary Shunts (ePTFE)

GT020	Viabahn Endoprosthesis	ePTFE & Nitinol Self Expanding Endoluminal Graft 	Viabahn 2.5mm - 13mm Diameter, 5cm Length; 	Detail and Benefit Amendment

System	Hemobahn 6 - 13mm Diameter, 5cm Length

GT021	Viabahn/Hemobahn Endoprosthesis	ePTFE & Nitinol Self Expanding Endoluminal Graft 	Viabahn 2.5mm - 13mm, 10cm Length; Hemobahn 6 -	Detail and Benefit Amendment

System	 13mm Diameter 10cm Length

Changed Items for Prostheses List Report	Page 131 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GT022	Viabahn/Hemobahn Endoprosthesis	ePTFE & Nitinol Self Expanding Endoluminal Graft 	Viabahn 2.5mm - 13mm Diameter, 15cm Length; 	Detail and Benefit Amendment

System	Hemobahn 6 - 11mm Diameter, 15cm Length

GT023	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	34, 37 & 40mm Diameter x 20cm Lengths	Detail and Benefit Amendment

GT024	Excluder AAA Endovascular Prostheses	AAA Abdominal Stent Graft Nitinol & ePTFE - two 	23-28.5mm Diameter, 14-18cm Length	Detail and Benefit Amendment

piece system (1/2) Trunk - Ipsilateral Limb

GT029	Gore Tips Endoprosthesis	ePTFE	8-12mm Diameter 4-8cm Graft-Lined Length 2cm 	Detail and Benefit Amendment

Unlined Length

GT132	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 8mm, Length 10cm	Detail and Benefit Amendment

GT136	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 80cm	Detail and Benefit Amendment

GT138	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 8mm, Length 10cm	Detail and Benefit Amendment

GT139	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20 - 30cm	Detail and Benefit Amendment

GT143	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 70cm	Detail and Benefit Amendment

GT145	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 - 100cm	Detail and Benefit Amendment

GT146	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 20cm	Detail and Benefit Amendment

GT147	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 30cm	Detail and Benefit Amendment

GT148	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 40cm	Detail and Benefit Amendment

GT149	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 10cm	Detail and Benefit Amendment

GT150	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 20cm	Detail and Benefit Amendment

GT151	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 30cm	Detail and Benefit Amendment

GT152	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 40cm	Detail and Benefit Amendment

GT157	Gore-Tex Stretch Thin Walled Vascular Graft	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 - 100cm	Detail and Benefit Amendment

GT158	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 10cm	Detail and Benefit Amendment

GT159	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20cm	Detail and Benefit Amendment

GT160	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 30cm	Detail and Benefit Amendment

GT161	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 40cm	Detail and Benefit Amendment

GT164	Gore-Tex Vascular Grafts	Thin wall grafts (ePTFE)	Dia 3 - 10mm, length 70cm	Detail and Benefit Amendment

GT167	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & Systemic-	Diameter 3.5 - 5mm, Length 5cm	Detail and Benefit Amendment

Pulmonary Shunts (ePTFE) Stretch & Non Stretch

GT168	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & Systemic-	Diameter 3.5 - 5mm, Length 10cm	Detail and Benefit Amendment

Pulmonary Shunts (ePTFE) Stretch & Non Stretch

GT171	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-6mm & 4-7 mm, Length 45 - 48cm	Detail and Benefit Amendment

GT172	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-7 mm, Length 70cm	Detail and Benefit Amendment

GT175	Gore-tex Vascular Grafts	Ringed Grafts Removable Standard Wall Tapered 	4-7 mm x 70cm - Rings 30cm  Length	Detail and Benefit Amendment

(ePTFE)

GT179	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 5 - 6mm x 70cm Length,  Ringed Section 	Detail and Benefit Amendment

60cm Length

GT180	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 5 - 6mm x 80cm Length, Ringed Section 	Detail and Benefit Amendment

60cm Length

Changed Items for Prostheses List Report	Page 132 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GT182	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 6mm, Lengths 80 - 90 cm, Ringed Section 	Detail and Benefit Amendment

60cm Length

GT183	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 8mm, Lengths 80 - 90 cm, Ringed Section 	Detail and Benefit Amendment

70cm Length

GT185	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch (ePTFE)	Diameter 6mm x 80cm Length, Ringed Section 30cm 	Detail and Benefit Amendment

Length

GT186	Gore-tex Stretch Removable Ringed Vascular Graft	Stretch Thin Walled Removable Ringed (ePTFE) Graft	Diameter 6mm x 70cm Length, Ringed Section 60cm	Detail and Benefit Amendment

GT187	Gore-tex Stretch Removable Ringed Vascular Graft	Stretch Thin Walled Removable Ringed (ePTFE) Graft	Diameter 6 - 8mm x 70cm Length, Ringed Section 60 	Detail and Benefit Amendment

- 70cm Length

GT188	Excluder AAA Endovascular Prostheses	AAA Stent Graft Nitinol & ePTFE Two piece 	Diameter 12 - 14.5mm x 10 x 14cm Length	Detail and Benefit Amendment

system (2/2) Contralateral Limb

GT189	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Aortic 	Diameter 23 - 28.5mm, Length 3.3cm	Detail and Benefit Amendment

Extender

GT190	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Iliac 	Diameter 10 - 14.5mm, Length 7cm	Detail and Benefit Amendment

GT191	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	Diameter 26-40mm x  10cm Length	Detail and Benefit Amendment

GT193	Gore-tex Vascular Grafts	Standard  Wall Grafts (ePTFE)	6-10mm Diameter x 40cm Length	Detail and Benefit Amendment

GT195	Gore-tex Vascular Graft	Standard wall grafts (ePTFE)	Diameter 6mm x 20cm length	Detail and Benefit Amendment

GT200	Gore-tex Vascular Graft	Standard wall grafts stretch (ePTFE)	Diameter 6-12mm x 20cm length	Detail and Benefit Amendment

GT211	Gore-Tex Intering Stretch Thin Walled Vascular Graft	ePTFE integrated rings in the wall of a stretch thin 	Diameter 6-8mm, 40cm radial supported length x 	Detail and Benefit Amendment

walled graft	40cm length

GT212	Gore-Tex Stretch Intering Vascular Graft	Stretch Thin Walled ePTFE graft with Integrated 	Dia 6-8mm, 60cm radial supported length x 60cm 	Detail and Benefit Amendment

length

GT213	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch thin 	Dia 6-8mm, 80cm radial supported length x 80cm 	Detail and Benefit Amendment

walled graft	length

GT216	Gore-tex Axillobifemoral Vascular Graft	Stretch vascular graft with removable rings (ePTFE)	Diameter 8mm x 90cm 40cm	Detail and Benefit Amendment

GT221	Gor-Tex Propaten Stretch Thin Walled Vascular 	Stretch Thin Walled Graft (ePTFE) - Heparin 	6-8mm diameter, non-Ringed 40cm length	Detail and Benefit Amendment

GT222	Gortex Stretch Thin Walled Propaten Graft	Stretch Thin Wall Graft (ePTFE)- Heparin Bonded	6-8mm diameter Non-Ringed 80cm length	Detail and Benefit Amendment

GT225	Gore Viabahn ® endoprosthesis with heparin 	Gore Viabahn ® endoprosthesis with heparin 	5mmx2.5cm VIABAHN 120cm CATH	Detail and Benefit Amendment

bioactive surface	bioactive surface is a flexible, self expanding 	5mmx5cm VIABAHN 120cm CATH

endoluminal device consisting of an ePTFE lining 	6mmx2.5cm VIABAHN 120cm CATH

with external nitinol support	6mmx5cm VIABAHN 75cm CATH

6mmx5cm VIABAHN 120cm CATH

7mmx2.5cm VIABAHN 120cm CATH

7mmx5cm VIABAHN 75cm CATH

7mmx5cm VIABAHN 120cm CATH

8mmx2.5cm VIABAHN 120cm CATH

8mmx5cm VIABAHN 75cm CATH

8mmx5cm VIABAHN 120cm CATH

Changed Items for Prostheses List Report	Page 133 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

GT226	Gore Viabahn ® endoprosthesis with heparin 	Gore Viabahn ® endoprosthesis with heparin 	5mmx 15cm VIABAHN 120cm CATH	Detail and Benefit Amendment

bioactive surface	bioactive surface is a flexible, self expanding 	6mmx 15cm VIABAHN 75cm CATH

endoluminal device consisting of an ePTFE lining 	6mmx 15cm VIABAHN 120cm CATH

with external nitinol support	7mmx 15cm VIABAHN 75cm CATH

7mmx 15cm VIABAHN 120cm CATH

8mmx 15cm VIABAHN 75cm CATH

8mmx 15cm VIABAHN 120cm CATH

GT227	Gore Viabahn ® endoprosthesis with heparin 	Gore Viabahn ® endoprosthesis with heparin 	5mm x 10cm VIABAHN 120cm CATH	Detail and Benefit Amendment

bioactive surface	bioactive surface is a flexible, self expandinbg 	6mm x 10cm VIABAHN 75cm CATH

endoluminal device consisting of an ePTFE lining 	6mm x 10cm VIABAHN 120cm CATH

with external nitinol support	7mm x 10cm VIABAHN 75cm CATH

7mm x 10cm VIABAHN 120cm CATH

8mm x 10cm VIABAHN 75cm CATH

8mm x 10cm VIABAHN 120cm CATH

William A Cook Australia Pty Ltd

General Miscellaneous

WC174	Zilver Biliary Stent System	Self expanding Metal Biliary Stent System	Diameters: 6, 8, 10mm; Lengths: 4, 6,8cm	Detail Amendment

WC200	Fusion Zilver Biliary Stent System	Self expanding Metal Biliary Stent with Fusion 	Diameters: 6, 8 & 10mm; length: 4, 6 & 8cm	Detail Amendment

Introducer System

WC213	Endoscopic Clipping Device	TriClip Endoscopic Clipping Device	7Fr - 3 Prong 12mm, 8Fr - 3 prong 12mm	Detail Amendment

WC242	Biodesign Surgisis Hernia Graft	Biodesign Hernia Graft is 8-layer perforated and 	13cm x 15cm	Detail and Benefit Amendment

quilted porcine sis collagen matrix, non cross-linked,

remodelable and resorbable tissue graft

WC243	Surgisis Biodesign Anal Fistula Plug	Surgisis Biodesign Anal Fistula Plug is a small 	0.6cm Width Tapering to 0.2cm Width x 9.5cm 	Detail Amendment

intestine submucosal porcine derived, rolled and 	Length. Conical Shape

shaped collagen matrix, non cross-linked, that signals

the body and provides support for native tissue

remodeling, healing and closure of anal fistulas

WC244	Biodesign Surgisis 8-layer Tissue Graft	Biodesign Surgisis 8-layer Tissue Graft is 8 layers of 	13cm x 15cm	Detail and Benefit Amendment

compressed and perforated porcine sis collagen

matrix, non cross-linked, remodelable and resorbable

tissue graft

WC247	Biodesign Surgisis 8-Layer Tissue Graft	Biodesign Surgisis 8-layer Tissue Graft is 8 layers of 	13cm x 22cm	Detail and Benefit Amendment

compressed and perforated porcine sis collagen

matrix, non cross-linked, remodelable and resorbable

tissue graft

WC248	Biodesign Surgisis 8-Layer Tissue Graft	Biodesign Surgisis 8-layer Tissue Graft is 8 layers of 	20cm x 20cm	Detail and Benefit Amendment

compressed and perforated porcine sis collagen

matrix, non cross-linked, remodelable and resorbable

tissue graft

WC249	Biodesign Surgisis Hernia Graft	Biodesign Hernia Graft is 8-layer perforated and 	13cm x 22cm	Detail and Benefit Amendment

quilted porcine sis collagen matrix, non cross-linked,

remodelable and resorbable tissue graft

WC250	Biodesign Surgisis Hernia Graft	Biodesign Hernia Graft is 8-layer perforated and 	20cm x 20cm	Detail and Benefit Amendment

quilted porcine sis collagen matrix, non cross-linked,

remodelable and resorbable tissue graft

Changed Items for Prostheses List Report	Page 134 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

WC251	Biodesign Surgisis  Hernia Graft	Biodesign Hernia Graft is 8-layer perforated and 	20cm x 30cm	Detail and Benefit Amendment

quilted porcine sis collagen matrix, non cross-linked,

remodelable and resorbable tissue graft

WC265	Biodesign Surgisis Inguinal Hernia Graft	Biodesign Surgisis Inguinal Hernia Graft is a 	10cm  x 15cm	Detail and Benefit Amendment

biologically derived [porcine] sis collagen, non cross-

linked graft, that remodels into strong host tissue

reinforcement for the inguinal floor

WC266	Biodesign Surgisis Inguinal Hernia Graft	Biodesign Surgisis Inguinal Hernia Graft is a 	8cm  x 15cm	Detail and Benefit Amendment

biologically derived [porcine] sis collagen, non cross-

linked graft, that remodels into strong host tissue

reinforcement for the inguinal floor

WC270	Zilver Biliary Stent System	Self expanding metal biliary stent system	Diameters 6, 8, 10mm; Lengths 4, 6, 8 cm	Detail Amendment

Urogenital

WC018	C-Flex Endoureteratomy Stent Set	6.0/10.0 Fr, & 7.0/14.0 Fr, Multiple Length	Detail Amendment

WC023	Greene Renal Transplant Stent Set	Transplant stent set	Multiple French Sizes, Multi-length	Detail Amendment

WC024	Ultrathane Endoureteratomy Stent Set	6/9.5 Fr & 7/14.0Fr , Multiple Length	Detail Amendment

WC236	Paterson-Forrester Subcutaneous Urinary Diversion 	Subcutaneous Urinary Diversion Stent	Stent 8.5 French, 65cm long	Detail Amendment

Stent

WC237	Radiance Ureteric Stent Set	Synthetic Thermosensitive Ureteral Stent Set with 	Multiple French Sizes and Lengths	Detail Amendment

Heparin Coating

Vascular

WC188	Zenith Thoracic Endovascular Graft	Thoracic Body Extension	22mm to 42mm diameter; 77mm to 81mm length	Benefit Amendment

WC235	Zenith Renu AAA Ancillary Graft - Converter	Stent graft indicated for the repair of in situ AAA 	Proximal diameter 22-36mm, distal diameter 12mm, 	Detail and Benefit Amendment

stent grafts	lengths 108-125mm

Vascular CAG

WC037	Coil - Embolisation MWCE	Standard Stainless Steel	Diameters: .025, .035, .038 and .052, Extended 	Detail and Benefit Amendment

Lengths: 1cm to 20cm, Coil Taper Diameters: 2mm

to 10mm

WC038	Coil - Embolisation Coils MWCE-TORNADO	Tornado Platinum	Diameters: .018, .035 and .038, Coil Taper 	Detail and Benefit Amendment

Diameters: 2mm to 10mm

WC039	Cook Embolization Coil	Hilal Platinum	Diameters: .018, Extended Lengths: .5cm to 6cm, Coil	Detail and Benefit Amendment

Diameters: Straight to 10mm

WC043	Inferior Vena Cava Filter	Birds Nest Vena Cava Filter	Filter Catheter French Size 11.0 Length 40, 75 cm 	Detail and Benefit Amendment

Introducer Sheath Assembly French Size 12.0

Femoral/Jugular Approach

WC044	PVA Embolisation particles	Embolization & Occlusion	Particle Size Ranges (microns) 50-100, 100-200, 200-	Detail and Benefit Amendment

300,300-500, 500-700, 700-1000, 1000-1500, 1500-

2000, 2000-2800

WC045	Zenith Endovascular Graft	Converter	Diameter 20 thru 36 Length 80-85	Detail and Benefit Amendment

WC047	Zenith Endovascular Graft	Leg Extensions	Diameter 18 thru 24 Length 55	Detail and Benefit Amendment

WC048	Zenith Endovascular Graft	Body Extensions	Diameter 22 thru 36	Detail and Benefit Amendment

WC049	Zenith AAA Endovascular Graft	Bifurcated Extension	Diameter 22-32 mm Length 122-239mm	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 135 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

WC093	Cook Implantable Injection/Infusion Ports	Petite or Standard, single or multiple chamber 	3 - 12 Fr pre-attached or detached catheter or valve 	Detail and Benefit Amendment

Polysulfone Port which may include micropuncture 	system

or standard introducer set

WC094	Cook Implantable Injection/Infusion Ports	Mini or Petite or Standard, single or multiple chamber	3 - 12 Fr pre-attached or detached catheter or valve 	Detail and Benefit Amendment

titanium Port which may include micropuncture or 	system

standard introducer set

WC096	Cook Vena Cava Filter	Universal Filter	Diameter up to 40mm, Length up to 60mm	Detail and Benefit Amendment

WC103	Zenith Iliac Plug	Zenith AAA Endovascular Graft	Diameter 14, 16, 18, 20, 22, 24mm	Detail and Benefit Amendment

WC111	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter set, which	3 - 6 Fr, 40 - 80cm	Detail Amendment

may include catheter, standard or micropuncture

introducer set

WC112	Cook Central Venous Catheterisation Kit	Double or triple lumen peripherally inserted catheter 	3 - 8 Fr 40 - 80cm	Detail Amendment

set, which may include catheter, standard or

micropuncture introducer set

WC113	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter set, 	Fr 3, 4, 5 and Length 50 and 60cm	Detail Amendment

includes catheter, needle, J-wire, MPIS wire and

WC114	Cook Central Venous Catheterisation Kit	Double lumen peripherally inserted catheter set, 	Fr 6, 7 and Length 58 and 60cm	Detail Amendment

includes catheter, needle, J-wire, MPIS wire and

introducer

WC115	Cook Implantable Injection/Infusion Port	Mini, single or multiple chamber titanium Port which 	3 - 12 Fr pre-attached or detached  catheter or valve 	Detail and Benefit Amendment

may include micropuncture introducer set	system

WC116	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter	Fr 3, length 55, 65cm; Fr 4, length 65cm, Fr 6.5, 9.5, 	Detail and Benefit Amendment

length 90cm

WC117	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter set	Fr 3, length 55; Fr 4, length 65cm, Fr 6.5 length 65, 	Detail and Benefit Amendment

90cm, Fr 9.5, length 90cm

WC118	Cook Central Venous Long Term Catheter	Cook TPN double lumen catheter	Fr 5, length special; Fr 7, length 65cm, Fr 9 length 80,	Detail Amendment

90cm, Fr 12, length special

WC119	Cook Central Venous Long Term Catheter Set	Cook TPN double lumen catheter set	Fr 7, length 65cm, Fr 9 length 90cm, Fr 12, 90, special	Detail Amendment

WC133	Zenith Flex AAA Endovascular Graft - body only	Stainless steel	Dia 22 - 32mm, length 82 - 140mm	Detail and Benefit Amendment

WC159	Zenith TAA Endovascular Graft	TX1, one piece thoracic stent-graft, woven polyester 	22 - 42mm diameter and 115 - 216mm long	Detail and Benefit Amendment

and stainless steel

WC160	Zenith TAA Endovascular Graft	Thoracic Proximal Extension	Dia 22 Length 77; Dia 24 Length 77;Dia 26 Length 	Detail and Benefit Amendment

77; Dia 28 Length 80; Dia 30 Length 80; Dia 32

Length 80; Dia 34 Length 77; Dia 36 Length 77; Dia

38 Length 77; Dia 40 Length 81

Diameter 42 Length 81

WC164	Cook Implantable Injection/Infusion Ports	Dual or Multiple Chamber Titanium Port which may 	3 - 12 Fr pre-attached or detached catheter or valve 	Detail and Benefit Amendment

include micropuncture or standard introducer set	system

WC168	Cook Vascular/Biliary Stent	Vascular/Biliary stent	5/6 Fr delivery system, 4 - 14mm diameter, 2 - 8cm 	Detail and Benefit Amendment

length

WC173	Cook Embolisation Coils	Nester Platinum	Diameters: .018 and .035, Extended Lengths: 14cm, 	Detail and Benefit Amendment

Coil Diameters: 3mm to 10mm

WC190	Detachable Mreye Embolization Coils	Standard Mreye	Diameters: .035 and .038, Extended Lengths: 1cm to 	Detail and Benefit Amendment

20cm, Coil Diameters: 3mm to 20mm

Changed Items for Prostheses List Report	Page 136 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

WC201	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central Venous 	4Fr - 60cm and 5Fr - 60cm	Detail Amendment

Catheter Set, Single Lumen Polyurethane with

Micropuncture Peel-Away Sheath Introducer and

Wire Guide

WC202	Cook Central Venous Catheterisation Kits	Turbo-Flo Peripherally Inserted Central Venous 	5Fr - 60cm	Detail Amendment

Catheter Set, Single Lumen Polyurethane with Peel

Away Sheath Introducer and Wire Guide

WC203	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central Venous 	5Fr - 60cm	Detail Amendment

Catheter Set, Dual Lumen Polyurethane with Peel-

Away Sheath Introducer and Wire Guide

WC204	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The-Wire Peripherally Inserted 	4Fr - 60cm and 5Fr -60cm	Detail Amendment

Central Venous Catheter Set, Single Lumen

Polyurethane with Micropuncture Peel-Away Sheath

Introducer and Wire Guide

WC205	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The Wire Peripherally Inserted 	5Fr - 60cm	Detail Amendment

Central Venous Catheter Set, Dual Lumen

Polyurethane with Micropuncture Peel-Away Sheath

Introducer and Wire Guide

WC206	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter 	3Fr - 50cm and 4Fr and 5Fr - 60cm	Detail Amendment

Set, Single Lumen Silicone with Micropuncture Peel-

Away Sheath Introducer and Nitinol Wire Guide

WC207	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter 	3Fr - 50cm and 4Fr and 5Fr - 60cm	Detail Amendment

Set, Catheter without Clamp, Single Lumen Silicone

with Micropuncture Peel-Away Sheath Introducer

and Wire Guide

WC208	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter 	4Fr - 60cm and 5Fr - 60cm	Detail Amendment

Set, Catheter without Clamp, Single Lumen Silicone

with Micropuncture Peel-Away Sheath Introducer

and Nitinol Wire Guide

WC222	Cook Spectrum Silicone Long Term Catheter Set	Dual lumen catheter CVC impregnated with antibiotic	7Fr	Detail Amendment

with or without clamp

WC223	Cook Spectrum Silicone Long Term Catheter Set	Triple lumen catheter CVC impregnated with 	8Fr	Detail Amendment

antibiotic with or without clamp

WC230	Cook Spectrum CVC Catheter 3 Lumen with 	Triple lumen CVC line with antibiotic impregnation	5Fr, 7Fr, 9Fr	Detail Amendment

antibiotic impregnation

WC231	Cook Spectrum 5 Lumen CVC Catheter with 	5 lumen CVC with antibiotic impregnation	10Fr	Detail Amendment

antibiotic impregnation

WC232	Zenith Renu AAA Ancillary Graft - Main Body 	Stent graft indicated for the repair of in situ AAA 	Proximal diameter 22 - 36mm, Length (covered 	Detail and Benefit Amendment

Extension	stent grafts	section) 43 - 62mm

WC233	Zenith Branch Endovascular Graft - Iliac Bifurcation	Bifurcated branch vessel stent graft with openings to 	Common iliac lengths 45 or 61mm, external iliac 	Detail and Benefit Amendment

connect the common iliac, sidebranch, and external 	lengths 41 or 58mm and distal cuff diameters 10 or

iliac segments. Made of stainless steel and nitinol z-	12mm

stents and woven polyester, mounted on H&LB one

shot delivery system

WC234	Formula 414 Rx Renal Stent System	Balloon Expandable Vasc/Biliary Stent	Rapid exchange 014/018, 80-135cm delivery system. 	Detail and Benefit Amendment

Diameters 4-10mm, lengths 0.8 - 4cm

WC238	Zenith Thoracic Endovascular Graft	Thoracic Proximal Grft	22mm to 42mm diameter, 115mm to 179mm Length	Detail and Benefit Amendment

Changed Items for Prostheses List Report	Page 137 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

WC239	Zenith Thoracic Endovascular Graft	Thoracic Proximal Grft	22mm to 42mm diameter, 180mm to 216mm Length	Detail and Benefit Amendment

WC240	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 127mm to 179mm Length	Detail and Benefit Amendment

WC241	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 180mm to 207mm Length	Detail and Benefit Amendment

WC258	Zenith AAA Endovascular Graft 	Leg Extension	Diameters from 8 to 24mm, Lengths from 37 to 122mm	Detail and Benefit Amendment

Contralateral/Ipsilateral Lliac Legs

WC259	Zenith AAA Endovascular Graft 	Leg extension with Captor valve	Diameters from 8 to 24mm, lengths from 37 to 122mm	Detail and Benefit Amendment

Contralateral/Ipsilateral Lliac Legs

WC260	Zenith Fenestrated AAA Endovascular Graft	Distal Bifurcated Body	Diameter 12 - 24mm, 1st length 28 - 62mm, 2nd 	Detail and Benefit Amendment

length 76 - 121mm

WC261	Zenith Fenestrated AAA Endovascular Graft with 	Distal Bifurcated Body with Flexor sheath	Diameter 12 - 24mm, 1st length 28 - 62mm, 2nd 	Detail and Benefit Amendment

length 76 - 121mm

WC262	Zenith Fenestrated AAA Endovascular Graft	Proximal Fenestrated Body	1 or 2 internal stents, 24 - 36mm Diameter, 73 - 	Detail and Benefit Amendment

129mm Length

WC263	Zenith Fenestrated AAA Endovascular Graft with 	Proximal Fenestrated body with Flexor sheath	1 or 2 internal stents, 24 - 36mm Diameter, 73 - 	Detail and Benefit Amendment

129mm Length

Zimmer Pty Ltd

Neurosurgical

ZI660	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 4.00mmx22mm; 4.5 x 20-40mm(5mm	Detail Amendment

increments); 5.5mm x 20-45mm (5mm increments)

ZI661	Nex-Link	Spinal Fixation System, Transverse Connectors	4.00mm Rod x 25mm - 45 length; 4.00mm Rod x 	Detail Amendment

4.00mm & 5.5mm (band), 4.00mm Rod x 4.00

&5.5mm (inline)

ZI706	Nex-Link	Spinal Fixation System, Open Screw Closure	4.00mm	Detail Amendment

Orthopaedic

ZI079	Miller Galante I	Bone Screw - Ti	20 - 60mm	Detail Amendment

ZI089	Miller Galante II	Bone Screw - Ti	20 - 80mm	Detail Amendment

ZI226	Zimmer Bone Plug	Allen Medullary Plug	8 - 23mm	Detail Amendment

ZI286	Zimmer Acetabular Cup	Multipolar (Bipolar) Cup-Co Chr W/WHMWPE	Outer Diameter 38 - 72mm, Inner Diameter 22,28, or 	Detail Amendment

32mm

ZI328	Coonrad/Morrey Elbow Cement Restrictor	PMMA/Plastic	Extra Small, Small, Regular	Detail Amendment

ZI356	Medullary Plug, MS 30	Centring Plug, cement restrictor, hip - PE	1 to 7	Detail Amendment

ZI362	Natural Hip System	Eccentric Ball Heads -  CoCr alloy	28/14 (S,M,L)	Detail Amendment

ZI379	PFM Hip series	Uncemented Stems, titaniuam, grit blast and non HA 	140 to 260 x 14 to 24	Detail Amendment

ZI451	Allofit screw hole plugs	Sterile, 7 per set	One size only	Detail Amendment

ZI553	M/L Taper Kinectiv Neck	Neck component for M/L taper stem	size K, S, A, E, P, X, B, G, R, C, J, D, K1, S1, AA, 	Detail Amendment

E1, P1, X1, K2, E2, BB, G1, R1 ,S2, P2, G2, CC, J1,

X2, R2, J2, DD

Specialist Orthopaedic

ZI003	Coonrad-Morrey Elbow	Ulna - Titanium	Petite, Left, Right	Detail Amendment

Changed Items for Prostheses List Report	Page 138 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ZI004	Coonrad-Morrey Elbow	Humerus - Titanium	4, 6, 8 inch, Left & Right	Detail Amendment

ZI005	Coonrad-Morrey Elbow	Bushing -  Polyethylene, Titanium	1 & 2	Detail Amendment

ZI132	NexGen Knee High Tibial Osteotomy System	Plate - Ti	1 - 10	Detail Amendment

ZI133	NexGen Knee High Tibial Osteotomy System	Screw - Ti	4.5 - 10 - 80 mm, 6.5 - 10 - 80 mm	Detail Amendment

ZI149	Periarticular Plates	Periarticular 6.5mm Cancellous Screws - Stainless 	16mm Thread - 35-90mm Long, 32mm Thread - 45-	Detail Amendment

90mm Long, Fully Threaded - 25-90mm Long

ZI150	Periarticular Plates	Periarticular 4.0mm Cancellous Screws - Stainless 	Part thread - 30-60 mm, Full thread 30-110 mm	Detail Amendment

ZI151	Periarticular Plates	Periarticular 4.5mm Self Tapping Screws - Stainless 	26 - 90mm	Detail Amendment

Steel

ZI152	Periarticular Plates	Periarticular 3.5mm Self Tapping Screws - Stainless 	10 - 80mm	Detail Amendment

Steel

ZI153	Periarticular Plates	Periarticular Tibial Plateau Plates - Stainless Steel	2 holes - 14 holes Left & Right	Detail Amendment

ZI154	Periarticular Plates	Periarticular Femoral Condylar Plates - Stainless Steel	4 holes - 18 holes Left & Right	Detail Amendment

ZI157	Zimmer Internal Fixation Systems: Compression Hip	Freelock/Versa-fx tube plate - Stainless Steel	2 holes - 20 holes	Detail Amendment

Screw

ZI158	Zimmer Internal Fixation Systems: Compression Hip	Freelock/Versa-fx lag screw - Stainless Steel	50 mm - 150 mm long	Detail Amendment

Screw

ZI161	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Stainless Steel	1.3 mm	Detail Amendment

ZI163	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Plate Cable Stainless Steel	610 mm long	Detail Amendment

ZI164	Zimmer Internal Fixation Systems: Cable System	Cable-Ready GTR Distal end Cable - Cobalt Chrome	635 mm long	Detail Amendment

ZI167	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 6 Hole Plate - Stainless Steel	187mm long	Detail Amendment

ZI168	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 8 Hole Plate - Stainless Steel	246mm long	Detail Amendment

ZI169	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 10 Hole Plate - Stainless Steel	305mm long	Detail Amendment

ZI170	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Pin - Stainless Steel	35, 40, 45, 65mm long	Detail Amendment

ZI173	Zimmer Internal Fixation Systems: Cable System	Cable-Ready GTR Cable - Proximal 	635mm long	Detail Amendment

ZI174	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Stainless Steel Cable	1.8mm	Detail Amendment

ZI176	Zimmer Internal Fixation Systems: Cannulated Screw	Magna-FX - Stainless Steel	16 mm Thread - 30-30 mm; 32 mm Thread - 40-120 	Detail Amendment

mm; Fully Threaded - 30-130 mm Long

ZI177	Zimmer Internal Fixation Systems: Cannulated Screw	Mini Magna-FX - Stainless Steel	4 & 5mm diameters	Detail Amendment

ZI178	Zimmer Internal Fixation Systems: Herbert Bone Screw	Scaphiod - Titanium	Scaphoid - 12 - 30mm length	Detail Amendment

ZI179	Zimmer Internal Fixation Systems: Herbert Bone Screw	Herbert/Whipple - Titanium	12 mm - 30 mm	Detail Amendment

ZI180	Zimmer Internal Fixation Systems: Herbert Bone Screw	Cannulated 4.5mm - Titanium	30 - 70mm	Detail Amendment

ZI181	Zimmer Internal Fixation Systems: Herbert Bone Screw	Cannulated 6.5mm - Titanium	25 mm - 100mm	Detail Amendment

ZI182	Zimmer Internal Fixation Systems: Soft Tissue Re-	Statak/Mini-Statak - Suture, Stainless Steel	2, 5 mm - 5, 0mm	Detail Amendment

attachment Device

ZI199	Zimmer ECT Screws	1.5mm Cortical Screws	6 - 18mm	Detail Amendment

ZI200	Zimmer ECT Screws	2.0mm Cortical Screws	6 - 24mm	Detail Amendment

ZI201	Zimmer ECT Screws	2.7mm Cortical Screws	6 - 50mm	Detail Amendment

Changed Items for Prostheses List Report	Page 139 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ZI202	Zimmer ECT Screws	3.5mm Cortical Screws	10 - 130 mm	Detail Amendment

ZI203	Zimmer ECT Screws	4.0mm Cancellous Screws	10 - 60 mm	Detail Amendment

ZI204	Zimmer ECT Screws	4.5mm Cortical Screws	14 - 120mm	Detail Amendment

ZI205	Zimmer ECT Screws	4.5mm Self tapping Cortical Screws	14 - 70mm	Detail Amendment

ZI206	Zimmer ECT Screws	4.5 Malleo Screw	25 - 70mm	Detail Amendment

ZI207	Zimmer ECT Screws	6.5mm Cancellous Screws	25 - 110mm	Detail Amendment

ZI209	Zimmer Large-Frag System	Cortical Nut for 4.5mm screw	Small & Large	Detail Amendment

ZI210	Zimmer Large-Frag System	Washer/Spiked washer	Small & Large	Detail Amendment

ZI211	Zimmer Plates	ZPS SC 1/3 Tubular Plate - Forearm	3 - 8 Hole	Detail Amendment

ZI212	Zimmer Plates	ZPS Semi Tubular Small Narrow Plate	3 - 8 Hole	Detail Amendment

ZI214	Zimmer Plates	Mini Straight & Epiphysis Plates	3 - 8 Hole	Detail Amendment

ZI215	Zimmer Plates	Mini SCP Plate	3 - 12 Hole	Detail Amendment

ZI216	Zimmer Plates	SCP Forearm plate	4 - 12 Hole	Detail Amendment

ZI217	Zimmer Plates	T Buttress Plates	4 - 6 Hole	Detail Amendment

ZI218	Zimmer Plates	Spoon Plates	5 - 6 Hole	Detail Amendment

ZI219	Zimmer Plates	T-Plates	68 - 147mm	Detail Amendment

ZI220	Zimmer Plates	Cloverleaf plates	88 - 104mm	Detail Amendment

ZI222	Zimmer Plates	Epiphysis plates	2 - 6 Hole	Detail Amendment

ZI223	Zimmer Plates	1/4 Tubular Plate	3  - 8 Hole	Detail Amendment

ZI224	Zimmer Plates	Standard DC Plate	2 - 12 Hole	Detail Amendment

ZI225	Zimmer Plates	Broad Plates	5 - 14 Hole	Detail Amendment

ZI227	ZPS	3.5mm Straight Recon Plates	6 Hole	Detail Amendment

ZI228	ZPS	3.5mm Curved Recon Plates	6 Hole	Detail Amendment

ZI230	ZPS	4.5mm Straight Recon Plate	6 Hole	Detail Amendment

ZI231	ZPS	Recon Bridge Plate	4 Hole	Detail Amendment

ZI234	Cable System 	Cable Ready, Cable Button	2,5mm - 5,0mm	Detail Amendment

ZI243	Periarticular Plates	Stainless Steel	2 - 20 Hole	Detail Amendment

ZI289	Bigliani Shoulder System	Cobalt Chrome	Lengths 130 - 200mm, Thickness 6 - 16mm	Detail Amendment

ZI290	Cable Ready Cable Grip System	Titanium - comes with two cables (Co Cr), Integral 	23 x 53mm, 1.8 x 635mm	Detail Amendment

Crimps

ZI293	Zimmer Wires	Stainless Steel	Length 23cm, Thickness 2mm, 0-4mm, 8mm	Detail Amendment

ZI294	Zimmer Wires	Stainless Steel	Length 7, 6cm - 23cm, Thickness 0mm, 7mm - 2mm, 	Detail Amendment

0mm

ZI297	Cable Ready Cable Grip System	Titanium	5 hole GTR with 4 cables	Detail Amendment

ZI298	Cable Ready Cable Grip System	Titanium	2 hole GTR with 4 cables	Detail Amendment

ZI299	Cable Ready Cable Grip System	Titanium	4 hole GTR with 4 cables	Detail Amendment

Changed Items for Prostheses List Report	Page 140 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ZI300	Bigliani Shoulder System	Bigliani-Flatow Shoulder - Heads (Cobalt chrome)	40, 46, 52, 52mm diameters	Detail Amendment

ZI304	Bigliani Shoulder System	Bigliani-Flatow shoulder - Glenoid (UHMWPE)	40, 46 and 52mm diameters	Detail Amendment

ZI319	Bigliani Flatow Total Shoulder System - Glenoids	Trabecular Metal Backed Glenoid (uncemented)  	Diameter 40 - 52mm	Detail Amendment

ZI320	ITST Intramedullary Nails	Stainless Steel Intertrochanteric Nailing System	Diameter 10 - 14mm; Length 18 - 50cm	Detail Amendment

ZI321	Intramedullary Nail Caps	Stainless Steel Intertrochanteric Nailing System	Diameter 0 - 20mm	Detail Amendment

ZI322	ITST Intramedullary Nailing System - Lag screw	Stainless Steel Intertrochanteric Nailing System	Diameter 11mm: Length 70mm - 120mm	Detail Amendment

ZI323	Zimmer Wires	Stainless Steel Rushpins	Diameter 2.4 - 6.4mm; Length 2.5 - 52.7cm	Detail Amendment

ZI326	Bigliani/Flatow Trabecular Metal Humeral Shoulder	Porous Tantulum Humeral Stem	6mm-19mm diameter	Detail Amendment

ZI331	Zimmer Periarticular Locking Plates	Periarticular Locking Plating System	Various lengths and numbers of holes	Detail Amendment

ZI336	Polypin Resorbable Bone Pin	Polylactide	1.5, 2.0, 2.7mm	Detail Amendment

ZI342	GSB Cemented Elbow	GSB Humerus - CoCr alloy/PE	76,86,86L  	Detail Amendment

ZI343	GSB Cemented Elbow	GSB Humeral Medullary Plug - PE	One size only	Detail Amendment

ZI344	GSB Cemented Elbow	GSB Ulna Component - CoCr alloy	12/71,12/61,16/71,16/61	Detail Amendment

ZI345	GSB Cemented Elbow	GSB Washer - PE	2/12,4/12,6/12,2/16,4/16,6/16 	Detail Amendment

ZI370	Cancellous Screws	Orthopaedic Screws - Ti alloy	20 to 60	Detail Amendment

ZI398	High Tibia Osteotomy	High Tibia Osteotomy - Ti alloy	L shaped steel alloy plate;  Standard & Long	Detail Amendment

ZI399	Cancellous Screws	Screws- Cancell - Ti alloy	6.5/15 to 6.5/70mm	Detail Amendment

ZI400	Cortical Screws	Screws- Cortical - Ti alloy	4.5/30 to 60mm	Detail Amendment

ZI440	Anatomical	Glenoid - PE	S, M, L	Detail Amendment

ZI441	Select Shoulder	Humeral Head Eccentric - CoCr alloy	44/19 to 56/32 	Detail Amendment

ZI442	Select Shoulder	Glenoid - PE	S, M, L, XL 	Detail Amendment

ZI443	Select Shoulder	Stem - Ti alloy	7mm Short to 14.5mm	Detail Amendment

ZI444	BiPolar Head	Humeral Head used with Select Shoulder Humeral 	26/42 to 26/60	Detail Amendment

Stem - CoCr alloy/ PE

ZI445	Intermedics Select Shoulder	UniPolar Head  -metal alloy	40 x 16mm to 56 x 32mm	Detail Amendment

ZI446	Intermedics Select Shoulder	Long Stem - Ti alloy	7 to 14.5mm	Detail Amendment

ZI447	Bioresorbable Screw	Polylactide	One size only	Detail Amendment

ZI448	Cannulated Screw	Ti alloy	One size only	Detail Amendment

ZI459	Collagen Meniscus Implant	Porous collagen-glycosaminoglcan matrix	7.5mm, 9mm	Detail Amendment

ZI464	GSB Elbow	Ulna Extension	One size only	Detail Amendment

ZI465	GSB Elbow	Special Bushing for Humerous	Length 76 - 86mm	Detail Amendment

ZI471	NCB Plates	Polyaxial locking plates, special titanium alloy	Plate size 60 to 324mm long	Detail Amendment

ZI484	Wristore	Disposable External Fixation device for the treatment 	Wristore Pack	Detail Amendment

of distal radial fractures.

ZI522	SIRUS Nail	Sirus Tibial Nail	8, 9, 10mm diam x 240 to 420mm in 14mm increments	Detail Amendment

Changed Items for Prostheses List Report	Page 141 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ZI523	SIRUS Nail	Sirus Femoral Nail	9, 10, 11, 12, 13mm diam x 300 to 480mm in 20mm 	Detail Amendment

increments

ZI524	SIRUS Nail	Sirus Locking Screws	3.9, 4.9mm x 24 to 100mm	Detail Amendment

ZI525	SIRUS Nail	Sirus Cervical Screws	6.5mm diam x 60 to 140mm in 5mm increments	Detail Amendment

ZI526	SIRUS Nail	Sirus End Cap	5-25mm length in 5mm increments	Detail Amendment

ZI528	Zimmer Trabecular Metal Reverse Shoulder System	Trabecular Metal Humeral Stem Titanium Alloy and 	12mm x 130mm; 12mm x 170mm; 14mm x 130mm	Detail Amendment

Tantalum

ZI529	Zimmer Trabecular Metal Reverse Shoulder System	Polyethylene Liner	Standard 7 Deg. & Retentive 65 Deg; 36mm - 	Detail Amendment

Neutral, Plus 3mm, Plus 6mm; 40mm - Neutral, Plus

3mm, Plus 6mm

ZI530	Zimmer Trabecular Metal Reverse Shoulder System	Spacer	9mm, 12mm Taper Insert	Detail Amendment

ZI531	Zimmer Trabecular Metal Reverse Shoulder System	Dual Taper Insert	One Size Only	Detail Amendment

ZI532	Zimmer Trabecular Metal Reverse Shoulder System	Glenosphere - CoCr - Mo Alloy	36mm, 40mm	Detail Amendment

ZI533	Zimmer Trabecular Metal Reverse Shoulder System	Trabecular Metal Reverse Base Plate - Ti Alloy & 	One Size Only	Detail Amendment

Tantalum

ZI534	Zimmer Trabecular Metal Reverse Shoulder System	Inverse/Reverse Screw 4.5mm	18mm, 24mm, 27mm, 30mm, 33mm, 36mm, 42mm, 	Detail Amendment

48mm

ZI541	Zimmer Universal Locking System	3.5mm Universal Locking System Reconstruction 	3 hole 40mm; 4 hole 53mm; 5 hole 79mm; 7 hole 	Detail Amendment

Plates, Straight-Sterile-Sterile & Non Sterile	92mm; 8 hole 105mm; 9 hole 118mm; 10 hole

131mm; 11 hole 144mm; 12 hole 157mm

ZI542	Zimmer Universal Locking System	3.5mm Locking Dual Compression Plate Sterile and 	4 hole 53mm; 5 hole 66; 6 hole 79mm; 7 hole 92mm; 	Detail Amendment

Non Sterile	8 hole 105mm; 9 hole 118mm; 10 hole 131mm; 11

hole 144mm; 12 hole 157mm; 14 hole 183mm

ZI543	Zimmer Universal Locking System	3.5mm Locking T Plate Sterile and Non-Sterile	3 hole head 5 hole shaft 73mm length; 4 hole head 6 	Detail Amendment

hole shaft 85mm length; 3 hole head 3 hole shaft left

51mm length; 3 hole head 4 hole shaft left 63mm

length; 3 hole head 3 hole shaft right 51mm length; 3

hole head 4 hole shaft right 63mm length.

ZI544	Zimmer Universal Locking System	3.5mm Locking One-Third Tubular Plate - Sterile and	5 hole 68mm; 6 hole 81mm; 7 hole 94mm; 8 hole 	Detail Amendment

non-sterile	107mm; 10 hole 133mm

ZI545	Zimmer Universal Locking system	3.5 mm Optional Locking Reconstructive Plate- 	13 hole; 14 hole; 15 hole; 16 hole; 18 hole; 20 hole; 22	Detail Amendment

Sterile and Non-Sterile	 hole

ZI546	Zimmer Universal Locking System	3.5mm Optional Locking dual Compression Plate - 	16 hole; 20 hole	Detail Amendment

Sterile and Non-Sterile

ZI547	Zimmer Universal Locking System	3.5mm  Optical Locking-Third Tubular Plate-Sterile 	3 hole; 4 hole; 12 hole; 14 hole	Detail Amendment

& Non Sterile

ZI548	Zimmer Universal Locking System	2.7mm Universal Locking Screw	Length:8mm; 10mm; 12mm; 14mm; 16mm; 18mm; 	Detail Amendment

20mm; 22mm; 24mm; 26mm; 28mm; 30mm; 32mm;

34mm; 36mm; 38mm; 40mm; 42mm; 44mm; 46mm;

48mm; 50mm; 55mm; 60mm

ZI549	Zimmer Universal Locking System	2.7mm Universal Locking System Reconstruction 	6 hole 49mm; 8 hole 65mm	Detail Amendment

Plates, Straight - Sterile & Non Sterile

Changed Items for Prostheses List Report	Page 142 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

ZI550	Zimmer Universal Locking System	2.7mm Locking Dual Compression Plate Sterile and 	2 hole 26mm; 4 hole 49mm; 6 hole 72mm; 7 hole 	Detail Amendment

Non Sterile	84mm; 8 hole 95mm; 9 hole 107mm; 10 hole 118mm;

12 hole 141mm; 16 hole 187mm

ZI551	Zimmer Universal Locking System	2.7 mm Locking T & L Plate Sterile and Non-Sterile	2 hole head 3 hole shaft 39mm length; 2 hole head 5 	Detail Amendment

hole shaft 62mm length; 3 hole shaft left 39mm; 3

hole shaft right 39mm; 3 hole shaft oblique left

42mm; 3 hole shaft oblique right 42mm; 5 hole shaft

left 62mm; 5 hole shaft right 62mm; 5 hole shaft obl

ZI552	Zimmer Universal Locking System	2.7mm Locking One-Quarter Tubular Plate-Sterile 	3 hole 36mm; 4 hole 47mm; 5 hole 59mm; 6 hole 	Detail Amendment

and Non-Sterile	70mm;l 7 hole 82mm; 8 hole 93mm

ZI562	ANATOMICAL SHOULDER	ANATOMICAL REMOVABLE HEAD 	D40 H14; D42 H15; D44 H16; D46 H16; D48 H17; 	Detail Amendment

D50 H18; D52 H19; D48 H20; D50 H21; D52 H23.

ZI564	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE GLENOID 	36mm; 40mm	Detail Amendment

HEAD

ZI565	ANATOMICAL SHOULDER	ANATOMICAL FRACTURE HUMERAL HEAD 	40mm Left & Right; 44mm Left & Right; 48mm Left 	Detail Amendment

and Right.

ZI575	ANATOMICAL SHOULDER	ANATOMICAL FRACTURE STEM	7-14mm x 130mm; 7mm x 170mm; 9, 11, 13mm x 	Detail Amendment

200mm.

ZI577	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE HUMERAL 	36mm x 0, 3 & 6mm; 40mm x 0, 3 & 6mm.	Detail Amendment

POLY INLAY

ZI578	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE GLENOID 	One size only.	Detail Amendment

FIXATION

ZI579	ANATOMICAL SHOULDER	ANATOMICAL CEMENTED HUMERAL STEM	7 x 100mm; 9 x 110mm; 12 x 110mm; 7 x 200mm; 9 x	Detail Amendment

210mm; 14 x 210mm

ZI580	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE HUMERAL 	Zero degree Retro; Zero degree Retro +6; +10 degree 	Detail Amendment

CUP	Retro; –10 degree Retro; +20 degree Retro; -20 degree

Retro;9mm 0 degree Retro; 9mm 0 degree Retro +6.

ZI581	ANATOMICAL SHOULDER	ANATOMICAL PEGGED GLENOID	Small, Medium and Large	Detail Amendment

ZI582	ANATOMICAL SHOULDER	ANATOMICAL PRESS-FIT HUMERAL STEM	7 x 100mm, 9 x 110mm, 10.5 x 110mm, 12 x 110mm, 	Detail Amendment

14 x 110mm

ZI596	NCB System	NCB Screw Self Tapping	5.00mm x 14-85; 4.00mm x 14-48,	Detail Amendment

ZI597	NCB Plating System	NCB Spacers & Screw Caps	1, 2 and 3	Detail Amendment

ZI598	NCB System	NCB Cancellous Screws	4.5mm x 30-65, 5.0mm x 32-90, 4.5mm x 30-65 C/FT	Detail Amendment

ZI599	NCB System	NCB Cortical Screws	5.00mm x 14-85; 4.00mm x 14-90; 3.5mm x 14-75.	Detail Amendment

ZI600	NCB System	NCB Cannulated Screws	14mm to 65mm	Detail Amendment

ZI601	NCBSystem	NCB Cannulated Cancellous Screws	4.5mm x 30-90mm	Detail Amendment

ZI602	Trans Fx LITE Ankle Implant Kit	MRI Ankle Bridging Implant Kit	Large	Detail Amendment

ZI603	Trans Fx LITE - Pelvic Resuscitation Kit	MRI Pelvic Resuscitation Kit	Large	Detail Amendment

ZI604	Trans Fx LITE	MRI Knee Spanning Implant Kit	Large	Detail Amendment

ZI605	Trans Fx LITE - Wrist Kit	Wrist Spanning Frame	Small	Detail Amendment

ZI606	Trans Fx LITE	MRI Universal Clamp	One size only	Detail Amendment

ZI708	Universal Clamp	Universal Clamp	5.5mm	Detail Amendment

Changed Items for Prostheses List Report	Page 143 of 144

Billing 	Product Name	Further Description	Size	Explanation of Change

Grand Total:	3321 Records

Changed Items for Prostheses List Report	Page 144 of 144