Part A - Prostheses List	February 2010

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1- Cardiothoracic Mechanical Valves

Group 1c - Bi-Leaflet, rotatable

Advanced Biomedical Pty Ltd

AB002	ATS medical open pivot heart valve 	Pyrolythic Carbon, Double Velour 	16-33mm	$6,000.00

model 500FA standard flexi-cuff aortic 	Polyester, Titanium

valve series, ATS medical open pivot

heart valve model 500DM standard

flexi-cuff mitral valve series

AB064	ATS medical open pivot heart valve 	Pyrolythic Carbon, Double Velour 	16-33mm	$6,000.00

model 501DA advanced performance 	Polyester, Titanium

(AP) aortic valve series, ATS medical

open pivot heart valve model 501DM

advanced performance (AP) mitral valve

Medtronic Australasia Pty Ltd

MC292	Advantage Heart Valve - Aortic Model 	A7760 - Pyrolytic carbon, PET	Diameter 19-31 mm	$6,000.00

A7760

MC324	Advantage Supra Aortic  Heart Valve	Mechanical Heart Valve Pyrolite Carbon 	Diameter (mm): 19 - 25	$6,000.00

leaflets Pyrolite carbon ring

MC681	Advantage Mitral	Mechanical Heart Valve	23mm-33mm	$6,000.00

Reid Healthcare

RH001	Aortic On-X Prosthetic Heart Valve 	27-29mm, 19mm, 21mm, 	$6,000.00

Models ONXA-19; ONXA-21; ONXA-	23mm, 25mm, 25-33mm, 27-

23; ONXA-25; ONXA-27/29; ONXM-	29mm, 31-33mm, 23mm,

23; ONXM-25; ONXM-27/29;

ONXM31/33; ONXMC25/33

Sorin Group

SA129	Optiform	Mechanical Valve	19mm to 33mm	$6,000.00

Prostheses List by Category, Groups and Sponsor	Page 1 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ037	St Jude Medical Aortic Expanded Cuff 	Aortic Expanded Cuff, Aortic 	Aortic Expanded 19 -31mm, 	$6,000.00

Heart Valve; St Jude Medical Aortic 	Hemodynamic Plus Cuff, Mitral 	Aortic Hemodynamic 17 -

Hemodynamic Plus Cuff Heart Valve; St	Hemodynamic Cuff, Aortic & Mitral 	27mm, Mitral Hemodynamic 17

Jude Medical Mitral Hemodynamic Plus	-27mm, Rotatable 17 - 33mm

Cuff Heart Valve; St Jude Medical

Mechanical Heart Valve Masters Series

SJ039	Regent Prosthestic Heart Valves	Standard Cuff - Model 17AGFN-751 - 	Standard cuff - 17-23mm, Flex 	$6,500.00

23AGFN-751, Flex Cuff - Mode 	cuff - 17-23mm

17AGFN-756 - 23AGFN-756

SJ116	Regent Prosthestic Heart Valves	Standard Cuff - Model 25AGFN-751 - 	Standard cuff - 25-29mm, Flex 	$6,000.00

29AGFN-751, Flex Cuff - Mode 	cuff - 25-29mm

25AGFN-756 - 29AGFN-756

Group 1e - Tilting Disc, rotatable

Medtronic Australasia Pty Ltd

MC013	Medtronic Hall Heart Valve Aortic Model	A7700/M7700 Titanium. Pyrolite. 	A7700 - Diameter 20-31mm, 	$5,100.00	$5,625.00

A7700, Medtronic Hall Heart Valve 	Dacron, A7700EZ/M7700EZ Titanium. 	M7700 - Diameter 23-33mm,

Mitral Model M7700, Hall Easy Fit 	A7700EZ - Diameter 19-29mm,

Aortic Heart Valve Model A7700, Hall 	M7700EZ - Diameter 23-31mm

Easy Fit Mitral Heart Valve Model M7700

Group 1: Single Chamber ICD's

Generation 3

Guidant Australia Pty Ltd

GU148	Vitality 2 EL VR - Model T177	Implantable Cardiac Defibrillator	35cc 90g	$40,560.00

GU151	Vitality 2 VR - Model T 175	Implantable cardiac defibrillator	30cc; 82g	$40,560.00

Sorin Group

SA139	OVATIO VR 6250	Titanium, single chamber, sterile, VR 	29cc	$40,560.00

6250, 34J

a

St. Jude Medical Australia Pty Ltd

SJ066	Atlas + VR - C Model V-193C ICD	Single chamber implantable cardio-verter 	38cc, 77g	$42,640.00

defibrillator

SJ114	Atlas II VR-168	Single chamber cardioverter defibrillator	38cc, 77g	$42,640.00

Prostheses List by Category, Groups and Sponsor	Page 2 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SJ121	Current VR 1107-36	Single Chamber Cardioverter Defibrillator	38cc 76g	$42,640.00

a, d

St. Jude Medical Australia Pty Ltd

SJ142	Analyst VR CD1217-36	Single Chamber Cardioverter Defibrillator 	79g, 41cc	$42,640.00	$44,640.00

with RF Telemetry and ST Segment

Monitoring

A,C,D

Medtronic Australasia Pty Ltd

MC722	Virtuoso	VR ModelImplantable Cardioverter 	37cc, 68g	$42,640.00

Defibrillator, Single Chamber

A,D

Biotronik Australia Pty Ltd

BT090	Lumax 340 VR-T	ICD-VR 34 J with bidirectional Home 	One size only	$42,640.00	$45,640.00

Monitoring. Single chamber

BT098	Lumax 340 VR-T XL	ICD-VR with 40 J output, bidirectional 	One Size Only	$42,640.00	$45,640.00

Home Monitoring and High Longevity

Boston Scientific Australia Pty Ltd

BS136	TELIGEN 100 HE VR DF-1/IS-1	High energy single chamber ICD with 	31.5cc, 9.9mm	$42,640.00

DF-1/IS-1 connector

Medtronic Australasia Pty Ltd

MC939	Virtuoso II	VR Model - Implantable Cardioverter 	37cc, 68g	$42,640.00

Defibrillator, Single Chamber

St. Jude Medical Australia Pty Ltd

SJ124	Current RF VR 1207-36	Single Chamber Cardioverter Defibrillator 	79g, 41cc	$42,640.00

with RF Telemetry

A,D,E

Boston Scientific Australia Pty Ltd

BS132	Teligen 100 HE VR 4-SITE	High energy single chamber ICD with 4-	30.5cc, 9.9mm	$43,390.00	$44,640.00

SITE inline RV connector (GDT-LLHH)

D

Biotronik Australia Pty Ltd

BT087	Lumax 300 VR-T	ICD-VR with bidirectional Home 	One Size Only	$40,560.00	$43,560.00

Monitoring. Single chamber

Prostheses List by Category, Groups and Sponsor	Page 3 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ216	AnalyST VR CD1217-30	Single chamber cardioverter defibrillator 	73g, 37cc	$40,560.00	$42,560.00

with RF telemetry and ST segment

Generation 4

A,D

Biotronik Australia Pty Ltd

BT100	LUMAX 540 VR-T	High Energy, Single-Chamber ICD 	Diamensions: 66*55*13 mm 	$43,920.00	$45,640.00

(Implantable Cardiac Defibrillator) with 	Volume/Weight : 37.2cc/92g

Advanced Patient Management Via unique

Home Monitoring Technology

incorporatin Automatic Threshold

Monitoring and Extended Longevity.

Medtronic Australasia Pty Ltd

MC813	Secura VR	Fully Automatic, Wireless Implantable 	37cc	$43,920.00

cardioverter defibrillator with high energy

capability and therapies for ventricular

tachyarrhythmia

St. Jude Medical Australia Pty Ltd

SJ147	Current Accel VR RF CD1215-36	Single Chamber Cardioverter Defibrillator 	79g, 38cc	$43,920.00	$44,640.00

with RF Telemetry

SJ154	AnalyST Accel VR CD1219-36	Single Chamber Cardioverter Defibrillator 	79g, 41cc	$43,920.00	$44,640.00

with RF Telemetry and ST Segment

Monitoring

D

St. Jude Medical Australia Pty Ltd

SJ212	AnalyST Accel VR CD1219-30	Single chamber cardioverter defibrillator 	73g, 37cc	$41,820.00	$44,560.00

with RF telemetry and ST segment

SJ213	Current Accel VR RF CD1215-30	Single chamber cardioverter defibrillator 	73g, 37cc	$41,820.00	$44,560.00

with RF telemetry

Group 10: Pacemaker/ICD Extenders

Medtronic Australasia Pty Ltd

MC831	Medtronic Lead Extender Kit Model: 	Silicone	37 - 50cm	$530.00

6984M, 6981M, 6985M,6986m

Prostheses List by Category, Groups and Sponsor	Page 4 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 11: Pacemaker/Lead Accessories

Medtronic Australasia Pty Ltd

MC036	Medtronic Lead End Cap Kit Model: 	Pin Plug Kits to Seal Unused Pacemaker 	One Size Per Model	$80.00

5867-3M; Medtronic DF-1 Port Pin 	or Defibrillator Port; Sizing Sleeve -

Plug Kit: Model 6719, Medtronic IS-1 	Silicone or Polyurethane

Port Pin Plug Kit: Model 6725;

Medtronic Upsizing Sleeve: Model 5866-

Group 12: Coronary Stents

Sub-Group 1: General Purpose Drug eluting stents

Abbott Australasia Pty Ltd

AY023	Xience Everolimus Eluting Stent System	Everolimus Eluting Stent System	2.25mm to 4.0mm widths, 8mm	$3,450.00

to 28mm lengths

Boston Scientific Australia Pty Ltd

BS099	Taxus Liberte Paclitaxel-Eluting 	316L Stainless Steel Stent with Translute 	2.0mm-5.0mm & 8.0mm-38mm	$3,450.00

Coronary Stent System	Polymer and Paclitaxel

BS125	Promus Everolimus Coronary Stent 	Cobalt chromium alloy stent coated with 	2.25mm to 4.0mm diameter, 	$3,450.00

a blended polymer mixed with Everolimus.	8mm to 28mm length

Johnson & Johnson Medical Pty Ltd

JJ302	CYPHER Sirolimus-Eluting Stent & 	Stainless steel coronary stent with 	Diameter 2.25 - 5.0mm, length 	$3,450.00

Delivery System Model  CRS - 23300, 	Rapamycin (an immunosuppressive and 	8-33mm

08225, 08250, 08275, 08300, 28225, 	antiproliferative drug) bound to the stent

28250, 28275, 28300, 33225, 33250,

33275, 33300, 13225, 13250, 13275,

18225, 18250, 18275, 18300, 23225,

23250, 23275, 23350, 23400, 08350,

08400, 2835

JJ481	CYPHER SELECT Sirolimus-Eluting 	Stainless steel coronary stent with 	Diameter 2.25 - 5.0mm, length 8	$3,450.00

Stent & Delivery System	Sirolimus (an immunosuppressive and 	 - 33mm

anti-proliferative drug) bound to the stent

by a polymer. Model CRA-23300, 08225,

08250, 08275, 08300, 28225, 28250,

28275, 28300, 33225, 33250, 33275,

Prostheses List by Category, Groups and Sponsor	Page 5 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ587	CYPHER Select Plus Sirolimus Eluting 	Stainless steel coronary stent with 	Diameter 2.25 - 5.00mm, 	$3,450.00

Coronary Stent	Sirolimus bound to the stent by a polymer	Length 8 - 33mm

Medtronic Australasia Pty Ltd

MC732	Endeavour Drug Eluting Coronary Stent 	Cobalt Alloy, ABT - 578	Diameter: 2.25mm-4.5mm; 	$3,450.00

System	Length: 8.00mm-38.0mm

MC769	Endeavor Sprint Drug Eluting Stent 	Cobals Alloym ABT - 578	Diameter: 2.25mm-4.0mm; 	$3,450.00

Length: 8.0mm-30.0mm

MC816	Endeavor Resolute Drug Eluting 	Cobalt Alloy, ABT - 578, BioLinx 	Diameter:2.25mm-4.0mm; 	$3,450.00

Coronary Stent System	Length: 8.00mm-30.0mm

Sub-Group 2: General Purpose Bare metal stents

Abbott Australasia Pty Ltd

AY025	Stents	ACS Multilink Coronary Stent; ACS 	1.5mm - 8.0mm	$1,248.00

Megalink Peripheral Stent; ACS RX

Herculink Peripheral Stent. Stainless steel

AY026	Multilink Coronary Stent System	Stainless Steel	Length 1.5mm - 8.0mm	$1,248.00

AY028	Multilink Coronary Stent System - 	Cobalt chrome stent	2.25mm to 4.0mm widths, 8mm	$1,248.00

to 38mm lengths

Atrium Australia - Pacific Rim Pty Limited

AC030	Cinatra Cobalt Chromium Coronary 	The Cinatra Cobalt Chromium Coronary 	Diameter range: 2.5mm - 	$1,248.00	$1,372.00

Stent System	Stent System consists of a balloon 	3.5mm.  Length range: 8mm -

expandable Cobalt Chromium stent

premounted on a rapid exchange system

Bio Excel Australia Pty Ltd

BE001	Gazelle Coronary Stent	Stainless Steel	Diam 2.25-4.0mm  Length 8-	$1,248.00

Biotronik Australia Pty Ltd

BT082	PRO-Kinetic	Cobalth Chromium coronary stent system	8-40mm length 2-5mm diameter	$1,200.00

Prostheses List by Category, Groups and Sponsor	Page 6 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BT107	PRO-Kinetic Energy	The PRO-Kinetic Energey stent is a 	The PRO-Kinetic Energy stent is	$1,248.00

tubular, balloon-expandable stent sculpted	 available in 66 different

by laser from a single tube of L-605 	diameter/length combinations.  It

cobalt chromium (CoCr) alloy.  The stent	 is available in lengths from

consists of circular segments at each end	8mm to 40mm.  It is

followed by a transition zone and 	premounted on a delivery

helicoidally arranged struts in the middle. 	system which has nominal

Each loop of the helix is connected to the	balloon diameters between

next loop by 3 longitudinal struts.  The

stent surface is fully coated with a layer

of amorphous hydrogen-rich silicon

carbide (aSiC:H).  This material has

semiconducting properties that efficiently

prevent the electron transfer from

fibrinogen to the metal surface in vitro.

Thereby the conversion from fibrinogen

to fibrin and it's depoisition at the stent

surface is reduced.  Additionally, aSiC:H -

coated stents exhibit a lower adhesion

and activation of blood platelets and

leucocytes.  Finally, the release of

potentially allergenic ions from a silicon

carbide coated stent is substantially

reduced in comparison to an uncoated

metal stent3.  This coating is used on all

Biotronik coronary stents producedso far

Boston Scientific Australia Pty Ltd

BS069	Liberte Coronary Stent System	Consists of a balloon expandable stent, 	Stent lengths: 8,12,16,20,24,28 	$1,248.00

pre-mounted on a Maverick 2 Monorail 	& 32 mm Stent diameters: 2.25,

delivery catheter.	2.5, 2.75, 3.0, 3.5, 4.0, 4.5 &

Imaxeon Pty Ltd

IX001	Amazonia CroCo	Balloon expandable intracoronary cobalt 	Lengths:  8mm, 12mm, 16mm, 	$1,248.00

chromium stent premounted onto a rapid 	20mm, 24mm, 28mm, 32, 36,

exchange delivery catheter	and 40mm.  Diameters:

2.25mm, 2.5mm, 2.75mm,

3.0mm, 3.5mm, 4.0mm, 4.50

and 5.00 mm in all lengths

Johnson & Johnson Medical Pty Ltd

JJ026	BX Velocity with Hepacoat System	Balloon expandable, stainless steel, 	.	$1,220.00

heparin coated

JJ200	BX Velocity Stent and Delivery System	Stainless steel stent	Diameter: 2.25-5.0 mm; Length 	$1,220.00

8 - 33 mm

Prostheses List by Category, Groups and Sponsor	Page 7 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ239	BX Sonic	Stainless steel coronary stent mounted on	Dia 2.25 - 4.0mm, lengths 8 - 	$1,220.00

a balloon delivery system

JJ670	Presillion CoCr Coronary Stent on RX 	Cobalt Chromium, bare metal coronary 	Stent Length (mm) x Stent 	$1,248.00

System	Diameter (mm) 8 x 2.50, 2.75,

3.0, 3.50, 4.0; 12 x 2.50, 2.75,

3.0, 3.50, 4.0; 17 x 2.50, 2.75,

3.0, 3.50, 4.0; 24 x 2.75, 3.0,

3.50, 4.0; 33 x 2.75, 3.0, 3.50,

Medtronic Australasia Pty Ltd

MC197	Medtronic AVE S660 Coronary Stents, 	Stainless Steel	S660 Coronary Stent - Diameter	$1,144.00

S670 Coronary Stents, S7 Coronary 	 (2.5mm-2.75mm), Length

Stents, BeStent2,	(9mm-24mm); S670 & S7

Coronary Stent - Diameter

(3mm-4mm), Length (9mm-

30mm); BeStent2 - Diameter

(2.5mm-4mm), Length (9mm-

MC329	Medtronic Driver, Micro Driver 	Cobalt Alloy	Driver Stent: diameter (2.25 - 	$1,248.00

Coronary Stent System	4.5mm), length (8-30mm);

Micro-Driver Stent: diameter

(2.25 - 2.75mm), length (8 -

MC932	Driver Sprint Coronary Stent System	Cobalt Alloy	Diameter: 2.25 - 4.5 mm; 	$1,248.00

Length: 8-30mm

OrbusNeich  Medical Pty Ltd

NM003	R Stent Evolution 2 Coronary Delivery 	316LVM Stainless Steel Balloon 	Lengths - 9-33mm; Diameters - 	$1,144.00

System	Expandable Stent (Tubular)	2.5-4.0mm

NM004	Blazer Coronary Stent Delivery System	L605 Cobalt Chromium alloy balloon 	Expanded Stent Diameter 2.5 to 	$1,248.00

expandable vascular prosthesis	4.0mm, Stent Length 9 to 33mm

Pacing Importers Pty Ltd - Life Systems

PI001	Excimer Laser Stent	Polyester Fibre optic catheter	2.5 and 2.2mm	$1,248.00	$6,800.00

PI002	Excimer Laser Stent	Polyester Fibre optic fibre catheter	0.457mm, 0.9mm, 1.4mm, 	$1,248.00	$6,800.00

1.7mm and 2.0mm

Terumo Corporation Australia

TU001	Tsunami Gold	Stainless Steel mounted on balloon 	Diameter 2.0mm - 4.0mm, 	$1,248.00

Length 8mm - 30mm length

Prostheses List by Category, Groups and Sponsor	Page 8 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sub-Group 3: Bare metal stents for specific indications

a, b

Abbott Australasia Pty Ltd

AY012	JoStent Coronary Stent Graft	Stainless Steel/PTFE	9 - 26 mm x 2.5 - 5 mm	$3,222.00

C1

Abbott Australasia Pty Ltd

AY027	Multilink Coronary Stent System - 	316L Stainless steel stent	Length 1.5 - 8.0mm	$2,200.00

C2

Imaxeon Pty Ltd

IX002	Nile CroCo	Intracoronary stent pre-mounted on two 	Diameter : 2.50 - 3.50mm.  MB 	$1,750.00

rapid exchange delivery systems for 	and 2.00-3.00mm SB

bifurcation lesions treatment	Lengths 18 mm and 24 mm

Group 13: Special Purpose Percutaneous Cardiovascular Devices

Sub-Group 1: Intracardiac Defect Occluders

a

Medtel Australia Pty Ltd

ME065	Amplatzer Duct Occluder	Nitinol Wire Mesh	5 - 24mm	$10,200.00

ME066	Amplatzer Septal Occluder	Nitinol Wire Mesh	4mm - 40mm	$10,200.00

ME067	Amplatzer Muscular VSD Occluder	Nitinol Wire Mesh	4 - 24mm	$10,200.00

ME068	Amplatzer PFO Occluder	Nitinol Wire Mesh	25mm & 35mm	$10,200.00

ME074	Amplatzer Membranous VSD Occluder	Nitinol wire mesh, double disc occluder 	4-24mm, Length 7-10mm	$10,200.00

and delivery system

ME187	AMPLATZER Duct Occluder II	Self expandable multiple Nitinol wire 	Waist diameter 3-6mm, Nominal	$10,200.00

mesh PDA occlusion device	 length 4-6mm

St. Jude Medical Australia Pty Ltd

SJ091	Premere PFO Closure System	Percutaneous, transcatheter, self-	Left Atrial Anchor diameter 	$10,036.00

expanding, dual anchor, occlusion and 	20mm, 25mm and 30mm

Prostheses List by Category, Groups and Sponsor	Page 9 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

W L Gore & Associates

GT223	Helex 1.5 Septal Occluder	The GORE HELEX Septal Occluder 	Diameters: 15, 20, 25, 30 and 	$10,200.00

consists of an implantable endoprosthesis 	35mm

and a catheter delivery system.  The

Occluder is comprised of a nickel-

titanium (Nitinol) wire frame covered

with expanded polytetrafluoroethylene

(ePTFE).  The ePTFE is treated with

Sub-Group 3: Vascular Occlusion Devices

Denward Dell Pty Ltd TA Surimex

DW001	Nit-Occlud PDA Occlusion System	Nitinol spiral coil and delivery system for 	Distal x Proximal Coil Diameter: 	$1,900.00

transcatheter occlusion of PDA	4x4mm, 5x4mm, 6x5mm,

10x6mm, 12x6mm, 14x6mm;

Introducer Sheath: 4F, 5F;

Length Introducer: 85cm,

105cm; Coil Length

configurated +-0.5mm: 3.5mm,

DW002	Nit-Occlud PDA Occlusion System 	Nitinol spiral coil and delivery system for 	Distal x Proximal Coil Diameter: 	$1,650.00

(Medium)	transcatheter occlusion of PDA	7 x 6mm, 9 x 6mm, 11 x 6mm,

12 x 6mm, 14 x 6mm;

Introducer Sheath:  5F; Length

Introducer: 85cm, 105cm; Coil

Length configurated +-0.5mm:

Group 14: Implantable Cardiac Event Recorders

Medtronic Australasia Pty Ltd

MC763	Reveal XT	Reveal XT Insertable Cardiac Monitor	61 x 19 x 8 mm with a volume 	$3,900.00

of 9cc

MC768	Reveal DX	Insertable Cardiac Monitor	61 x 19 x 8 mm with a volume 	$3,900.00

of 9cc

St. Jude Medical Australia Pty Ltd

SJ152	SJM Confirm Model DM2102	Implantable cardiac monitor with atrial 	6.5cc, 12g	$3,900.00	Temporary Listing

fibrillation monitoring.

SJ159	SJM Confirm Model DM2100	Implantable cardiac monitor	6.5cc, 12g	$3,900.00	Temporary Listing

Prostheses List by Category, Groups and Sponsor	Page 10 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 15: Endovascular Therapeutic Devices

Sub- Group 2: Embolic Protection Devices

St. Jude Medical Australia Pty Ltd

SJ127	Proxis Embolic Protection System - 	Proximal embolic protection device and 	6F and 7F	$2,100.00

Long Sheath	delivery system

Group 2 - Cardiothoracic Tissue Valves

Edwards Lifesciences Pty Ltd

EL032	Baxter Edwards Prima Plus Stentless 	Edwards Prima Plus. Porcine Valve; 	19mm-29mm	$4,841.00

Bioprosthesis Model 2500P Prosthetic 	Woven Polyester Cloth.

Heart Valve

Group 2a - Stented

St. Jude Medical Australia Pty Ltd

SJ141	SJM Epic Supra Valve	triple composite Bioprosthetic heart valve 	Tissue Annulus Diameter - 19-	$4,445.00

for supra-annular placement in the aortic 	23mm

Total Height - 14-16mm

SJ156	SJM Epic Valve	Triple composite bioprosthetic heart valve	Aortic valve 21-29mm tissue 	$4,445.00

annulus diameter

14-20 total height

Mitral Valves 25-33mm tissue

annulus diameter

15-20mm total height

(p)

St. Jude Medical Australia Pty Ltd

SJ069	St Jude Medical Biocor Porcine 	St Jude Medical Biocor Porcine 	Aortic Valves - Tissue Annulus 	$4,445.00

Prosthetic Heart Valve	Prosthetic Heart Valve is manufactured 	Diameter - 21-29mm,  Implant

from selected procine aortic valve cusps 	Height - 11-15c;  Mitral Valves -

that have been cross-linked with a 	 Tissue Annulus Diameter - 25-

35mm, Implant Height - 8-

Prostheses List by Category, Groups and Sponsor	Page 11 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SJ136	SJM Biocor Heart Valve	Stented Porcine tissue valve	Aortic Valves - Tissue Annulus 	$4,445.00

Diameter - 21 - 29mm

Mitral Valves -

Tissue Annulus Diameter - 25-

35mm

SJ192	Epic Flexfit	Triple-composite Bioprosthetic heart 	Aortic Valves 21-29mm tissue 	$4,445.00

annulus diameter, 14-20mm total

height. Mitral Valves 25-33mm

tissue annulus diameter, 15-

20mm total height.

SJ201	Epic FlexFit Supra	Triple-composite Bioprosthetic heart 	Tissue Annulus Diameter - 	$4,445.00

valve for supra-annular placement in the 	19mm-23mm. Total Height

aortic position

B (Bovine), E (Equine), P (Porcine)

Edwards Lifesciences Pty Ltd

EL030	CE Supra Annular Aortic Valve Model 	Carpentier-Edwards SAV Bioprosthesis. 	19mm-33mm	$4,445.00

2650 Carpentier-Edwards S.A.V 	Composition: Porcine Valve; Elgiloy

Bioprosthesis Model 6650 Mitral Valve	Alloy; Silicone Rubber,

Medtronic Australasia Pty Ltd

MC701	Mosaic Cinch, Aortic, Mitral	Models 305cxx, 310cxx	19mm - 35mm	$4,445.00	$5,345.00

MC771	Mosaic Ultra	Small Aortic Root Bioprosthesis	19mm-29mm	$4,445.00	$5,650.00

Group 2b - Stented, pericardial

Edwards Lifesciences Pty Ltd

EL056	Magna Mitral	Carpentier-Edwards PERIMOUNT 	25, 27, 29, 31 and 33mm	$5,000.00	$5,690.00

Magna Mitral Bioprosthesis, Model

Sorin Group

SA130	Mitroflow	Pericardial Bioprosthesis	19-27mm	$5,000.00

(p)  Pericardial

Edwards Lifesciences Pty Ltd

EL058	Magna Ease	Carpentier - Edwards PERIMOUNT 	19, 21, 23, 25, 27 and 29mm	$5,000.00	$6,100.00

Magna Ease Bioprosthesis, Model

Prostheses List by Category, Groups and Sponsor	Page 12 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B (Bovine), E (Equine), P (Porcine)

Edwards Lifesciences Pty Ltd

EL031	Carpentier-Edwards Perimount 	Carpentier-Edwards Pericardial 	Models 2900/6900 19-33mm, 	$5,000.00

Pericardial Bioprosthesis - Models 	Bioprosthesis. Composition: Bovine 	Model 6900P 25, 27, 29, 31,

2900/6900  Carpentier-Edwards 	Pericardium; Elgiloy Alloy; Silicone

Perimount Plus Pericardial Bioprosthesis	Rubber, Polytetrafluoroethylene

Mitral - Model 6900P

EL039	Edwards Perimount Magna Model 3000	Carpentier-Edwards Perimount Magna 	19MM Aortic Pericardial Tissue 	$5,000.00	$5,690.00

composition: Glutaraldehyde treated 	Valve; 21MM Aortic Pericardial

bovine pericardium/elgiloy wireform 	Tissue Valve; 23MM Aortic

stent/polyester band/silicone rubber 	Pericardial Tissue Valve; 25MM

suture ring/polytetrafluoroethylene 	Aortic Pericardial Tissue Valve;

cloth/polyester cloth.	27MM Aortic Pericardial Tissue

Valve; 29MM Aortic Pericardial

Tissue Valve

Group 2c - Non-Stented

Medtronic Australasia Pty Ltd

MC015	Freestyle bioprosthesis	Models 995xx, 995MSxx	19 - 35mm	$5,110.00	$5,350.00

St. Jude Medical Australia Pty Ltd

SJ038	St Jude Medical Toronto SPV Valve 	Tissue Heart Valves, Bioimplant	TSPV: 21 - 29mm, Bioimplant 	$4,900.00

Model SPA-101, St Jude Medical 	Aortic: 21-27mm, Bioimplant

Bioimplant Heart Valve	Mitral: 27-32mm

e

Advanced Biomedical Pty Ltd

AB070	ATS 3f Aortic Bioprosthesis (EQUINE)	Model 1000 - EQUINE Pericardium 	19 - 29 mm	$5,000.00

Bioprostheseis (non stented)

Group 2: Dual Chamber ICD's

Generation 3

Guidant Australia Pty Ltd

GU149	Vitality 2 DR - Model T165	Implantable Cardiac Defibrillator	30cc ; 82g	$43,680.00

GU150	Vitality 2 EL DR - Model T167	Implantable cardiac Defibrillator	35cc ; 90g	$43,680.00

Sorin Group

SA140	OVATIO DR 6550	Titanium dual chamber ICD, 29 cc	29cc	$43,680.00

Prostheses List by Category, Groups and Sponsor	Page 13 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

a

Boston Scientific Australia Pty Ltd

BS128	Confient RF HE	Dual chamber, high energy implantable 	44cc, 87.5g	$45,760.00

cardioverter defibrillator with wireless

radio frequency capability

St. Jude Medical Australia Pty Ltd

SJ115	Atlas II+ DR V-268	Dual Chamber Cardioverter Defibrillator	39cc, 78g	$45,760.00

SJ123	Current DR 2107	Dual Chamber Cardio-verter Defibrillator	39cc 78g	$45,760.00

A,C,D

Medtronic Australasia Pty Ltd

MC721	Virtuoso	DR ModelImplantable Cardioverter 	37cc, 68g	$45,760.00

Defibrillator, Dual Chamber

MC938	Virtuoso II	DR Model - Implantable Cardioverter 	37cc, 68g	$45,760.00

Defibrillator, Dual Chamber

A,D

Biotronik Australia Pty Ltd

BT086	Lumax 340 DR-T	ICD-DR 34 J with bidirectional Home 	One Size Only	$45,760.00	$48,760.00

Monitoring. Dual chamber

BT101	Lumax 540 DR-T	High Energy, Dual-Chamber ICD 	Diamensions: 66*55*13mm, 	$45,760.00	$48,760.00

(Implantable Cardiac Defibrillator) with 	Volume/Weight: 37.2cc/92g

Advanced Patient Management Via unique

Home Monitoring Technology

incorporating Automatic Ventricular

Boston Scientific Australia Pty Ltd

BS135	Teligen 100 DR DF-1/IS-1	High energy dual chamber ICD	31.5cc, 9.9mm	$45,760.00

St. Jude Medical Australia Pty Ltd

SJ120	Current DR RF 2207	Dual Chamber Cardioverter Defibrillator 	80g, 42cc	$45,760.00

with RF Telemetry

SJ144	AnalyST DR Model CD2217-36	Dual Chamber cardioverter defibrillator 	80g, 42cm	$45,760.00	$47,760.00

with RF telemetry and ST Segment

A,D,E

Boston Scientific Australia Pty Ltd

BS134	TELIGEN 100 HE DR 4-SITE	High energy dual chamber ICD with 4 	31.55cc, 9.9mm	$46,510.00	$47,760.00

SITE (GDT-LLH) inline RV connector

Prostheses List by Category, Groups and Sponsor	Page 14 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

c

Guidant Australia Pty Ltd

GU157	Vitality AVT - Model A155	Implantable cardiac defibrillator with both	30cc	$43,680.00

Atrial and Ventricular tachyarrhythmia

therapy

D

Biotronik Australia Pty Ltd

BT091	Lumax 300 DR-T	ICD-DR with bidirectional Home 	One size only	$43,680.00	$46,680.00

St. Jude Medical Australia Pty Ltd

SJ215	AnalyST DR CD2217-30	Dual chamber cardioverter defribillator 	74g, 38cc	$43,680.00	$45,680.00

with RF telemetry and ST segment

Generation 4

A,C,D

Medtronic Australasia Pty Ltd

MC814	Secura DR	Fully Automatic, Wireless Implantable 	37cc	$47,130.00

cardioverter defibrillator with high energy

capability and therapies for ventricular

and atrial tachyarrhythmia

A,D

St. Jude Medical Australia Pty Ltd

SJ143	AnalyST Accel DR CD2219-36	Dual Chamber cardioverter defibrillator 	80g, 42cc	$47,130.00	$48,480.00

with RF telemetry and ST Segment

SJ153	Current Accel DR RF CD2215-36	Dual Chamber Cardioverter Defibrillator 	80g, 42cc	$47,130.00	$48,480.00

with RF Telemetry

D

St. Jude Medical Australia Pty Ltd

SJ214	Current Accel DR RF CD2215-30	Dual chamber cardioverter defribillator 	74g, 38cc	$46,030.00

with RF telemetry

SJ217	AnalyST Accel DR CD2219-30	Dual Chamber cardioverter defibrillator 	74g, 38cc	$46,030.00

with RF telemetry and ST segment

Prostheses List by Category, Groups and Sponsor	Page 15 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 3 - Cardiothoracic Valve Conduits

Group 3a - Mechanical Valve

Advanced Biomedical Pty Ltd

AB001	ATS Medical open pivot aortic valved 	Pyrolythic Carbon, Double Velour 	21- 33mm	$6,950.00

graft model 502AG	Polyester, Titanium

Medtronic Australasia Pty Ltd

MC198	Medtronic Hall rotatable aortic valved 	Titanium, pyrolite, dacron	20 - 33mm	$6,950.00

collagen impregnated conduit Model

Sorin Group

SA128	CarboSeal Ascending Aortic Prosthesis, 	Mechanical Conduit	AP 21-33mm, CP 21 - 33mm	$6,950.00

sterile, CarboSeal Ascending Aortic

Prosthesis with Handle Model AP21,

Model AP23, Model AP25, Model AP27,

Model AP29, Model AP31, Model

AP33, Carboseal Valsalva

St. Jude Medical Australia Pty Ltd

SJ036	St Jude Medical Coated Aortic Valved 	Coated Aortic Valved Graft 	21mm - 33mm	$6,950.00

SJ104	SJM Masters Series Aortic Valved 	St Jude Medical Mechanical Heart Valve 	Annulus Diameter 19-29mm	$6,950.00

Prosthesis - VAVGJ	sewn into the base of a woven polyester

fibre graft which has been impregnated

with bovine-derived gelatin

Group 3b - Tissue Valve, stented porcine

Medtronic Australasia Pty Ltd

MC012	Medtronic Hancock Valved Conduit 	Porcine bioprosthesis, dacron	12, 14, 16, 18, 20, 22, 25, 	$5,900.00	$6,800.00

Model 100/150

Group 3: ICD's with CRT

Generation 2

Boston Scientific Australia Pty Ltd

BS129	LIVIAN CRT-D	CRT-D (IS-1 and LV-1 connectors)	40cc, 79.5g, 14.5mm	$45,760.00

Prostheses List by Category, Groups and Sponsor	Page 16 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Guidant Australia Pty Ltd

GU147	Contak Renewal 4 CRT-D Model H190, 	Implantable dual-chamber defibrillator	One size only	$45,760.00

Model H195

Sorin Group

SA138	OVATIO CRT-D 6750	Titanium, dual chamber ICD with CRT	30cc	$45,760.00

a

Boston Scientific Australia Pty Ltd

BS130	LIVIAN CRT-D HE	CRT_D RF High Energy (IS-1 and LV-1 	44cc, 87.5g, 14.5mm	$47,840.00

connectors)

Guidant Australia Pty Ltd

GU144	Contak Renewal 4 HE CRT-D Model 	Implantable dual-chamber defibrillator	one size only	$47,840.00

H197, Model H199

Sorin Group

SA145	PARADYM CRT-D 8750	Implantable Cardioverter Defibrillator 	34cc,  94 grams;  61.8 x 73.4 x 	$47,840.00

with Cardiac Resynchronisation therapy, 	11mm

High Energy

St. Jude Medical Australia Pty Ltd

SJ109	Atlas II+ HF V-367	Cardiac Resynchronisation Therapy 	41cc, 79g	$47,840.00

Defibrillator with V-V Timing

Programmability

SJ117	Promote CRT-D 3107	Cardiac Resynchronisation Therapy 	41cc, 80g	$47,840.00

Defibrillator

A,C

Guidant Australia Pty Ltd

GU155	Contak Renewal 4 AVT HE CRT - D - 	Implantable Cardioverter Defibrillator 	40cc; 89g	$47,840.00

Model M177, M179	with cardiac resynchronisation Therapy

A,C,D

Medtronic Australasia Pty Ltd

MC720	Concerto CRT-D	Implantable Cardioverter Defibrillator 	38cc	$47,840.00	$50,000.00

with Cardiac Resynchronisation Therapy

MC937	Concerto II	Fully automatic, wireless implantable 	38cc	$50,000.00

cardioverter defibrillator with Cardiac

Resynchronisation Therapy (CRT), and

therapies for ventricular and atrial

tachyarrhythmia.

Prostheses List by Category, Groups and Sponsor	Page 17 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

A,D

Biotronik Australia Pty Ltd

BT089	Lumax 340 HF-T	CRT-D 34 J with bidirectional Home 	One Size Only	$47,840.00	$53,000.00

Monitoring

BT102	Lumax 540 HF-T	High Energy, Three Chamber ICD 	Diamensions: 66*59*13 mm, 	$47,840.00	$53,000.00

(Implantable Cardiac Defibrillator) with 	Volume/Weight: 39.8cc/94g

Advanced Patient Management Via unique

Home Monitoring Technology

incorporating Automatic RV/LV

Threshold Monitoring and Extended

Boston Scientific Australia Pty Ltd

BS139	COGNIS 100 HE (DF-1/IS-1 & DF-	High Energy CRT-D (DF-1/IS-1 & DF-	32.5cc, 9.9mm	$47,840.00	$50,000.00

1/LV-1connectors)

St. Jude Medical Australia Pty Ltd

SJ128	Promote RF CRT-D 3213	Cardiac Resynchronisation Therapy 	43cc, 82g	$47,840.00	$49,840.00

Defibrillator with RF Telemetry

A,D,E

Boston Scientific Australia Pty Ltd

BS138	COGNIS 100 HE 4-SITE	High Energy CRT-D with 4SITE (GDT-	32cc, 9.9mm	$48,590.00	$52,000.00

LLHH) inline RV connector

c

Guidant Australia Pty Ltd

GU154	Contak Renewal 4 AVT CRT -D - 	Implantable Cardioverter Defibrillator 	37cc; 89g	$45,760.00

Model M170 and M175	with Cardiac Resynchronisation Therapy

D

Biotronik Australia Pty Ltd

BT088	Lumax 300 HF-T	CRT-D with bidirectional Home 	One size only	$45,760.00	$48,760.00

Generation 3

A,C,D

Medtronic Australasia Pty Ltd

MC812	Consulta CRT-D	Fully Automatic, Wireless Implantable 	38cc	$52,000.00

cardioverter defibrillator with cardiac

resynchronization therapy (CRT), and

therapies for ventricular and atrial

tachyarrhythmia

Prostheses List by Category, Groups and Sponsor	Page 18 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

A,D

St. Jude Medical Australia Pty Ltd

SJ150	Promote Accel RF CD3215-36	Cardiac Resynchronisation Therapy 	82g, 43cc	$52,000.00

Defibrillator with RF Telemetry

D

St. Jude Medical Australia Pty Ltd

SJ145	Promote Accel CD3215-30	Cardiac Resyncronisation Therapy 	76g, 39cc	$49,760.00

Defibrillator with RF Telemetry

Group 4 - Cardiothoracic Atrio-Ventricular Rings and Bands

Group 4a - Ring, Standard

Edwards Lifesciences Pty Ltd

EL028	Baxter Sterile Grafts, Implants & 	Carpentier-Edwards Classic Annuloplasty 	24mm-40mm	$2,200.00

Prostheses, Non-Animal Origin 	Ring. Composition: Titanium Alloy;

Annuloplasty: Ring-Mitral Ring with 	Silicone Rubber; Polyester Fabric

Holder; Mitral Cosgrove-Edwards 	Carpentier-Edwards Physio Annuloplasty

Annuloplasty System Model 4600; 	Ring. Composition: Elgiloy Bands;

Classic Annuloplasty Ring-Tricuspid	Polyester Film Strips; Silicone Rubber;

Polyester Cloth, Cosgrove-Edwards

Annuloplasty Band. Composition: Silicone

Rubber; Polyester Cloth. Carpentier-

Edwards Tricuspid Ring. Composition:

Titanium Alloy; Silicone Rubber;

Medtronic Australasia Pty Ltd

MC005	Medtronic Duran Annuloplasty Ring; 	Annuloplasty Devices - Models 610R & 	Model 610R 25-35mm & Model 	$2,200.00

Duran Ancore Ring 620R; Duran 	620R Silicone / Barium Sulphate, Dacron.	620R 23-35mm

Ancore Chordal Model 620RG

Sorin Group

SA127	AnnuloFlo Annuloplasty System	Annuloflex Ring or AnnuloFlo Ring	26-36mm	$2,200.00

St. Jude Medical Australia Pty Ltd

SJ035	SJM Tailor Annuloplasty Ring	Fully Flexible	25mm - 35mm	$2,200.00

Prostheses List by Category, Groups and Sponsor	Page 19 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 4b - Ring, with modification

Edwards Lifesciences Pty Ltd

EL049	Edwards Etlogix Annuloplasty Ring	Titanium/silicon/dacron polyester 	24mm/26mm/28mm/30mm/32m	$2,400.00

cloth/plastic template Mitral valve annular 	m/34mmd

repair device designed specifically for

patients with Ischemic Mitral regurgitation

EL057	Geoform	Geoform annuloplasty ring Model 4200 	26, 28, 30 and 32mm	$2,400.00

with Holder

Medtronic Australasia Pty Ltd

MC745	CG Future Composite Ring	Semi-rigid mitral annuloplasty ring, with 	24, 26, 28, 30, 32, 34, 36 & 	$2,400.00

anterior flexibility

MC844	Profile 3D Annuloplasty Ring	3D, rigid annuloplasty ring with 	Diameter (mm) 24 - 40mm	$2,400.00

physiologic mitral valve shape

St. Jude Medical Australia Pty Ltd

SJ087	St Jude Medical Rigid Saddle Ring	Rigid Annuloplasty Ring	24 - 34mm	$2,400.00

SJ195	Attune Flexible Adjustable Annuloplasty 	Flexible annuloplasty ring	25mm - 35mm	$2,200.00

Ring

Group 4c - Band, Standard

Edwards Lifesciences Pty Ltd

EL050	Edwards MC3 Tricuspid Annuloplasty 	Annuloplasty Ring, 	26mm to 36mm in 2mm 	$2,400.00

System	titanium/silicone/polyester velour

cloth/plastic template

Group 4d - Band, with modification

Medtronic Australasia Pty Ltd

MC709	Posterior Annuloplasty Band;  Colvin - 	Annuloplasty - Model 610B & 620B 	Model 610B: 25-35mm; Models 	$2,200.00

Galloway Future Band Model 638B; 	Silicone / Barium Sulphate, Dacron. 	620B & 620BG: 23-35mm,

Duran Ancore Band 620B; Duran 	Models 638B semi-regid metal alloy core, 	Model 638B - 26-38mm

Ancore Chordal Model 620BG	silicone coating, polyester knit fabric, kit

includes-band, malleable handle, template

with suture markers, sizers

Prostheses List by Category, Groups and Sponsor	Page 20 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Reid Healthcare

RH002	Kalangos Mitral Ring	KALANGOS Mitral Ring is intended for 	Diameter 16mm - 36mm, Height	$2,200.00	$2,500.00

heart valve repair. Each device is 	 10.62mm - 24.61mm

characterized by a resorbable polymeric 	Thickness 1.3mm - 1.5mm

curved segment, processed in poly-1,4-

dioxanone, moulded around a PVDF

suture itself ended by swaged stainless

steel needles. These three constituents are

assembled in such a way that they

cannot be shared or dismounted after

assembly without irremediably destroying

the device. For these reasons,

KALANGOS Mitral Ring should be

considered as a single device. Each

extremity of the polymeric segment is

terminated by a sharp end prolonged by

the PVDF suture with a swaged stainless

Prostheses List by Category, Groups and Sponsor	Page 21 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

RH003	Kalangos Tricuspid Ring	KALANGOS Tricuspid Ring is intended 	TRK16 5.10 Radius 1 (mm) 	$2,200.00	$2,500.00

for heart valve repair. Each device is 	9.31 Radius 2 (mm) 3.1 Radius

characterized by a resorbable polymeric 	3 (mm) 5.44 Height (mm) 1.30

curved segment, processed in poly-1,4-	Thickness (mm)

dioxanone, moulded around a PVDF 	TRK18 6.1 Radius 1 (mm)

suture itself ended by swaged stainless 	10.44 Radius 2 (mm) 4.1 Radius

steel needles. These three constituents are	 3 (mm) 7.98 Height (mm) 1.30

assembled in such a way that they 	Thickness (mm)

cannot be shared or dismounted after 	TRK20 7.1 Radius 1 (mm) 8.92

assembly without irremediably destroying	Radius 2 (mm) 5.1 Radius 3

the device. For these reasons, 	(mm) 8.96 Height (mm) 1.30

KALANGOS Tricuspid Ring should be 	Thickness (mm)

considered as a single device. Each 	TRK22 8.1 Radius 1 (mm) 9.27

extremity of the polymeric segment is 	Radius 2 (mm) 6.1 Radius 3

terminated by a sharp end prolonged by 	(mm) 10.05 Height (mm) 1.30

the PVDF suture with a swaged stainless 	Thickness (mm)

steel needle on both sides.	TRK24 9.1 Radius 1 (mm)

11.21 Radius 2 (mm) 7.1 Radius

3 (mm) 10.97 Height (mm)

1.30 Thickness (mm)

TRK26 10 Radius 1 (mm) 11.21

Radius 2 (mm) 8 Radius 3

(mm) 10.37 Height (mm) 1.50

Thickness (mm)

TRK28 10.5 Radius 1 (mm)

16.71 Radius 2 (mm) 9 Radius 3

(mm) 11.02 Height (mm) 1.50

Thickness (mm)

TRK30 12 Radius 1 (mm) 11.9

Radius 2 (mm) 10 Radius 3

(mm) 12.83 Height (mm) 1.50

Thickness (mm)

TRK32 13 Radius 1 (mm) 15.45

Radius 2 (mm) 11 Radius 3

(mm) 13.15 Height (mm) 1.50

Thickness (mm)

TRK34 14 Radius 1 (mm) 16.25

Radius 2 (mm) 12 Radius 3

(mm) 13.5 Height (mm) 1.50

Thickness (mm)

TRK36 15 Radius 1 (mm) 15.85

Radius 2 (mm) 13 Radius 3

(mm) 16.09 Height (mm) 1.50

Thickness (mm)

Prostheses List by Category, Groups and Sponsor	Page 22 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ088	SJM Tailor Annuloplasty Band	Flexible double-velour, polyester fabric	25 - 35mm	$2,200.00

Group 4: Single Chamber Pacemakers

Generation 1

St. Jude Medical Australia Pty Ltd

SJ053	Verity Adx Model XL SC 5056 	Single Chamber multi-programmable rate-	10.5cc, 23g	$4,264.00

implantable pacemaker	adaptive pacing device with extended

longevity

Generation 2

St. Jude Medical Australia Pty Ltd

SJ076	Verity Adx Model  XL SR 5157 M/S 	Single Chamber  multi-programmable 	11cc, 23g	$5,928.00

implantable pacemaker	rate-adaptive pacing devices with

extended longevity

Generation 3

Biotronik Australia Pty Ltd

BT062	Philos II SR	Multiprogrammable, Rate Responsive, 	One size only	$5,928.00

SSIR pacemaker

BT080	Cylos VR	single chamber dual sensor rate responsive	one size only	$5,928.00

BT106	Cylos 990 SR	Single-chamber pacemaker with Closed 	57 x 39 x 6mm / 27g	$5,928.00

Loop Stimulation (CLS)

BT109	Entovis SR	Fully automatic, extended longevity, 	53 x 39 x 6.5W x H x D [mm], 	$5,928.00

single cFully automatic, extended 	Size 1 [cm3],  25 Mass[g]

longevity, single chamber pacemaker with

Closed Loop Stimulation.

BT113	Evia SR	Fully automatic, extended longevity, 	53 x 39 x 6.5 W x H x D [mm], 	$5,928.00

single chamber pacemaker with Closed 	Size 10[cm3], 25 Mass [g]

Loop Stimulation.

Boston Scientific Australia Pty Ltd

BS124	Insignia AVT 1192	Single chamber pacemaker	10cc, 23.4g	$5,928.00

BS145	Altrua 20 SR	Single chamber pacemaker	10cc - 15cc	$5,928.00

BS147	Altrua 40 SR	Single Chamber pacemaker	10cc - 15cc	$5,928.00

Prostheses List by Category, Groups and Sponsor	Page 23 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BS149	Altrua 50 SR	Single chamber pacemaker	10cc - 15cc	$5,928.00

BS152	Altrua 60 SR	Single Chamber pacemaker	10cc - 15cc	$5,928.00

Guidant Australia Pty Ltd

GU124	Insignia Entra SR Models 1195 & 1198	Single Chamber Rate Responsive 	One size only	$5,928.00

Permanent Pacemaker

GU126	Insignia Plus SR Model 1194	Single Chamber Rate Responsive 	One size only	$5,928.00

Permanent Pacemaker

GU139	Insignia Ultra SR Model 1190	Implantable Cardiac Pacemaker	One size only	$5,928.00

Medtronic Australasia Pty Ltd

MC728	Adapta Pacemaker	SR PacemakerModels ADSR01, 	9.7 - 11.0cc21.5 - 22.5g	$5,928.00

ADSR06, ADSR03

Sorin Group

SA137	Symphony SR	Titanium	one size only	$5,928.00

SA142	Reply™ SR	Single chamber permenent pacemaker 	37 x 41.5 x 6.1mm	$5,928.00

with rate response modulation	19 Grams

7.5 cm3

SA143	ESPRIT SR	Single Chamber Permanent Pacemaker 	Dimensions: 37.4 x 41.5 x 	$5,928.00

with Rate Response Modulation	6.1mm Weight : 19grams.

St. Jude Medical Australia Pty Ltd

SJ060	Identity ADx Model SR 5180 	Single Chamber multi-programmable rate-	8cc, 18g	$5,928.00

implantable pacemaker	adaptive pacing device

SJ077	Verity Adx Models XL SR 5156 	Single Chamber  multi-programmable 	11cc, 23g	$5,928.00

implantable pacemaker	rate-adaptive pacing devices with

extended longevity

SJ090	Victory SR 5610	single chamber rate responsive 	41x44x46mm 17g 8cc	$5,928.00

SJ105	Zephyr SR 5620	Single Chamber Rate-Responsive 	8cc, 17g	$5,928.00

SJ131	Zephyr XL SR 5626	Single-Chamber Rate-Responsive 	23.5g and 10.4cc	$5,928.00

SJ205	Accent SR PM 1110	Single Chamber Rate Responsive 	18g, 9.5cc	$5,928.00

a

St. Jude Medical Australia Pty Ltd

SJ027	St Jude Medical Microny II SR+ Model 	Single Chamber Rate Responsive 	Volume 5.9cc, Weight 12.8gm	$5,928.00

2525T Pacemaker

Prostheses List by Category, Groups and Sponsor	Page 24 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

D

Biotronik Australia Pty Ltd

BT108	Entovis SR-T	Fully automatic, extended longevity, 	53 x 39 x 6.5 W x H x D [mm], 	$5,928.00	$8,928.00

single chamber pacemaker with Closed 	Size 11 [cm3], 24 mass[g]

Loop Stimulation & BIOTRONIK Home

Monitoring

BT110	Evia SR-T	Fully automatic, extended longevity, 	53 x 39 x 6.5 W x H x D [mm], 	$5,928.00	$8,928.00

single chamber pacemaker with Closed 	Size 11 [cm3], 24 Mass [g]

Loop Stimulation & BIOTRONIK Home

Monitoring

St. Jude Medical Australia Pty Ltd

SJ200	Accent SR RF PM1210	Single Chamber Pacemaker with RF 	23g, 12.8cc	$5,928.00	$7,928.00

Group 5 - Cardiothoracic Membranes and Patches

Group 5a - Tissue

Advanced Biomedical Pty Ltd

AB066	Supple Peri-Guard (10 x 16cm)	Model No PC1016SN - 10 x 16 Bovine 	10 x 16cm	$760.00

pericardium patch

AB067	Supple Peri-Guard (8 x 14cm)	Nodel No PC0814SN - 8 x 14 Bovine 	8 x 14cm	$700.00

pericardium patch

AB068	Supple Peri-Guard (6 x 8cm)	Model No PC0608SN -6 x 8cm Bovine 	6 x 8cm	$610.00

pericardium patch

AB069	Supple Peri-Guard (4 x 4cm)	Model No PC0404SN - 4 x 4cm Bovine 	4 x 4cm	$350.00

pericardium patch

Edwards Lifesciences Pty Ltd

EL033	Baxter Augmentation / Substitution 	Edwards Pericardial Patch. Bovine 	10cm x 16cm	$760.00

Material, Human or Animal Origin, 	Pericardium.

Sterile Pericardial Patch.

Group 5b - Synthetic, Cardiovascular

Tag Medical

TM040	Repel - CV	Bioresorbable Adhesion Barrier	18cmx13.5cmx137 microns	$550.00

W L Gore & Associates

GT117	Gore-Tex - Cardiovascular Patch	ePTFE	0.4mm Thickness 2 x 9cm	$240.00

Prostheses List by Category, Groups and Sponsor	Page 25 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT118	Gore-Tex - Cardiovascular Patch	ePTFE	0.4mm - 3 x 6cm	$280.00

0.6mm - 2.5cm x 15cm & 5cm

x 7.5cm

GT120	Gore-Tex  Cardiovascular Patch	ePTFE	0.6mm Thickness 5 x 15cm	$521.00

GT121	Gore-Tex Cardiovascular Patch	ePTFE	0.6mm Thickness 10 x 15cm	$945.00

GT126	Acuseal Cardiovascular Patch Vascular	ePTFE	0.5mm Thickness 1 x 9cm; 0.8 	$223.00

x 7.5cm

GT127	Acuseal Cardiovascular Patch Cardiac	ePTFE	0.5mm Thickness 3 x 6cm & 5 	$270.00

x 7.5cm

Group 5c - Synthetic, Non-cardiovascular

W L Gore & Associates

GT122	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 6 x 12cm	$360.00

GT123	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 8 x 16cm	$643.00

GT124	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 12 x 12cm	$748.00

GT125	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 15 x 20cm	$1,455.00

Group 5: Dual Chamber Pacemakers

Generation 1

Boston Scientific Australia Pty Ltd

BS123	Insignia AVT 882	VDD Pacemaker	10.0cc, 23.5g	$5,200.00

BS150	Altrua 50 VDD	VDD Pacemaker	10cc - 15cc	$5,200.00

Guidant Australia Pty Ltd

GU079	Pulsar Model VDD 870	Titanium	3.2mm/IS-1	$5,200.00

St. Jude Medical Australia Pty Ltd

SJ050	Verity ADx Model XL DC 5256 Dual - 	Dual Chamber multi-programmable rate-	11cc, 23.5g	$5,200.00

Chamber pacemaker	adaptive pacing devices with extended

longevity

SJ061	Identity Adx Model XL DC 5286 Dual 	Identity ADx Model XL DC Model 5286 	11cc, 23.5g	$5,200.00

Chamber Pacemaker	is an implantable, multi-programmable

rate-adaptive pacing device with AF

Prostheses List by Category, Groups and Sponsor	Page 26 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Generation 2

Medtronic Australasia Pty Ltd

MC713	Adapta Pacemaker	VDDR PacemakerModels ADVDD01	11.1cc23.6g	$6,760.00

St. Jude Medical Australia Pty Ltd

SJ054	Identity ADx Model VDR 5480 	Single Chamber multi-programmable rate-	8cc, 18g	$6,760.00

implantable pacemaker	adaptive pacing device with extended

longevity

SJ057	Verity ADx Model XL VDR 5456 	Single Chamber multi-programmable rate-	11cc, 23.5g	$6,760.00

implantable pacemaker	adaptive pacing device with extended

longevity

Generation 3

Biotronik Australia Pty Ltd

BT060	Philos II DR	Multiprogrammable, rate responsive, 	One size only	$9,360.00

BT104	Cylos 990 DR	Dual-chamber pacemaker with Closed 	57* 43* 6mm/28g	$9,360.00

Loop Stimulation (CLS)

BT105	Cylos 990 DR-T	Dual-chamber pacemaker with Closed 	57*43*6mm/28g	$9,360.00	$12,360.00

Loop Stimulation (CLS) and Biotronik

Home Monitoring Technology

Boston Scientific Australia Pty Ltd

BS126	Insignia AVT 1292	Dual chamber pacemaker	10.8cc, 25.4g	$9,360.00

BS144	Altrua 20 DR	Dual chamber pacemaker with rate 	10cc - 15cc	$9,360.00

BS146	Altrua 40 DR	Dual Chamber pacemaker	10cc - 15cc	$9,360.00

BS148	Altrua 50 DR	Dual chamber pacemaker	10cc - 15cc	$9,360.00

BS151	Altrua 60 DR	Dual Chamber pacemaker	10cc - 15cc	$9,360.00

Guidant Australia Pty Ltd

GU120	Insignia Plus DR Model 1297, Insignia 	Dual Chamber Rate Responsive 	One size only	$9,360.00

Plus DR Model 1298	Permanent Pacemaker

GU121	Insignia Entra DR Models 	Dual Chamber Rate Responsive 	One size only	$9,360.00

Permanent Pacemaker

GU140	Insignia Ultra DR Model 1291	Implantable Cardiac Pacemaker	One size only	$9,360.00

GU141	Insignia Ultra DR Model 1290	Implantable Cardiac Pacemaker	One size only	$9,360.00

Prostheses List by Category, Groups and Sponsor	Page 27 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sorin Group

SA136	Symphony DR 2550	Active Implantable pacemaker	1 size only	$9,360.00

SA141	Reply™ DR	Dual Chamber permanent Pacemaker 	8cc, Weight: 20grams, 	$9,360.00

with Rate Response Modulation	Dimensions:41.2 x 41.5 x

SA144	ESPRIT DR	Dual Chamber Permanent Pacemaker 	8cc, Weight: 20grams, 	$9,360.00

with Rate Response Modulation	Dimensions:41.2 x 41.5 x

St. Jude Medical Australia Pty Ltd

SJ051	Verity Adx Implantable Pacemaker, 	Dual - Chamber, multi-programmable, 	45x52x6mm,11cc, 23g, 5mm or	$9,360.00

Models XL DR 5356 and XL DR 	rate-responsive pacemaker withAF 	 6mm M/S

SJ059	Identity ADx Models DR 5380 and XL 	Dual-Chamber, multi-programmable, rate-	ADx DR 5380: 43x44x6mm, 	$9,360.00

DR 5386	adaptive pacing devices with AF 	18g and 8ccADx XL DR

5386: 44x52x6mm, 23.5g and

SJ089	Victory XL DR 5816 and DR 5810	Dual Chamber Rate Responsive 	44x52x6mm; 23.5g; 11cc	$9,360.00

b

Medtronic Australasia Pty Ltd

MC360	EnRhythm	Model P150 1DR, Rate Responsive dual 	21g, 13cc	$11,440.00

chamber pacemaker with Anti-

Tachycardia functions: DDDRP

MC935	EnRhythm MRI SureScan	Model EMDR01, MRI Conditional, Rate 	13cc, 22g	$11,440.00

Responsive Dual Chamber Pacemaker

with Anti-Tachycardia functions and

D

Biotronik Australia Pty Ltd

BT071	Philos II DR-T	Dual Chamber Rate Responsive with 	One size only	$9,360.00	$12,360.00

Home Monitoring

BT079	Cylos DR-T	Dual chamber dual sensor rate responsive	one size	$9,360.00	$12,360.00

with home monitoring system option

Generation 4

Biotronik Australia Pty Ltd

BT111	Entovis DR	Fully automatic, extended longevity, Dual 	53 x 43 x 6.5W x H x D [mm], 	$11,440.00

Chamber Pacemaker with Closed Loop 	Size 11 [cm3], 26 Mass [g]

stimulation & Vp Suppression

Prostheses List by Category, Groups and Sponsor	Page 28 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BT112	Evia DR	Fully automatic, extended longevity, Dual 	53 x 43 x 6.5 W x H x D [mm], 	$11,440.00

Chamber Pacemaker with Closed Loop 	Size 11 [cm3], 26 Mass [g]

stimulation & Vp Suppression.

Medtronic Australasia Pty Ltd

MC726	Adapta Pacemaker	DR PacemakerModels ADDR01, 	11.1-14.2cc23.6g-31.3g	$11,440.00

ADDRS1, ADDRL1, ADDR06, ADDR03

St. Jude Medical Australia Pty Ltd

SJ103	Zephyr XL DR 5826 and DR 5820	Dual Chamber Rate-Responsive 	5826 - 23.5g, 11cc and 5820 - 	$11,440.00

18g, 8.5cc

SJ193	Accent DR PM 2112	Dual Chamber Pacemaker	19g, 10.5cc	$11,440.00

b

Medtronic Australasia Pty Ltd

MC933	Advisa DR MRI Pure Scan	Model A3DR01 Digital dual chamber 	13cc, 22g	$11,780.00

pacemaker with SureScan Technology

(OAE-DDDR) MR Conditional with MVP

Mode, Complete Capture Management

Diagnostic (ACM, RVCM), AT/AF Suite

Diagnostics and Therapies, OptiVol Fluid

Status Monitoring, and Therapy Guide

MC934	Advisa DR	Model A5DR01 Digital dual chamber 	13cc, 22g	$11,780.00

pacemaker (OAE-DDDR)  MVP mode

with Complete Capture Management

Diagnostic (ACM, RVCM)  AT/AF Suite

Diagnostics and Therapies, OptiVol Fluid

Status Monitoring, and Therapy Guide

D

Biotronik Australia Pty Ltd

BT114	Evia DR-T	Fully automatic, extended longevity, Dual 	53 x 44.5 x 6.5 W x H x D 	$11,440.00	$14,440.00

Chamber Pacemaker with Closed Loop 	[mm], Size 12 [cm3], 25 Mass

stimulation, Vp Suppression and

BIOTRONIK Home Monitoring

BT115	Entovis DR-T	Fully automatic, extended longevity, Dual 	53 x 44.5 x 6.5 W x H x D 	$11,440.00	$14,440.00

Chamber Pacemaker with Closed Loop 	[mm], Size 12 [cm3], 25 Mass

stimulation, Vp Suppression and

BIOTRONIK Home Monitoring

St. Jude Medical Australia Pty Ltd

SJ196	Accent DR RF PM2212	Dual chamber Pacemaker with RF 	236, 12.8cc	$11,440.00	$13,440.00

Prostheses List by Category, Groups and Sponsor	Page 29 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 6 - Cardiothoracic Assisted Anastomic Devices

Medtronic Australasia Pty Ltd

MC680	Spyder	Proximal Anastomotic Device	6-clip assembly	$590.00

Group 6: CRT Pacemakers

Generation 2

Guidant Australia Pty Ltd

GU142	Contak Renewal TR2 CRT - P Model 	Implantable Cardiac pacemaker	45x54x8.5mm, 14cc, 26gm	$12,480.00

H140, Model H145

Medtronic Australasia Pty Ltd

MC226	Medtronic Insync III Triple Chamber 	Titanium	One size only	$12,480.00

Pacemaker Model 8042

St. Jude Medical Australia Pty Ltd

SJ072	Frontier II - Model 5596	Biventricular Cardiac Resynchronisation 	49mm(h) x 52(1) x 6(t), 25g	$12,480.00

Device with AF suppression algorithm -

Titanum

D

Biotronik Australia Pty Ltd

BT085	Stratos LV-T	Multiprogrammable Biventricular DDDRV	One size only	$12,480.00	$15,480.00

with Home Monitoring

Generation 3

St. Jude Medical Australia Pty Ltd

SJ194	Anthem PM3112 CRT Pacemaker	Cardiac Resynchronisation Therapy 	21g, 11.5cc	$13,520.00	$14,560.00

Pacemaker

D

St. Jude Medical Australia Pty Ltd

SJ207	Anthem RF PM3212	CRT Pacemaker with RF telemetry	25g, 13.7cc	$13,520.00	$14,560.00

Prostheses List by Category, Groups and Sponsor	Page 30 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 7 - Cardiothoracic Assisted Fixation Devices

Medtronic Australasia Pty Ltd

MC714	U-Clips (Valve Repair)	Double Arm, Mitral Valve Repair	2-packs	$510.00

7b - Other

Medtronic Australasia Pty Ltd

MC765	U-Clips	Nitinol Clips, 8-pack	Needle Lengths: 6.5mm - 	$336.00

9.5mm, 8-pack

MC772	U-Clips	Nitinol Clips, 2-pack	Needle Lengths: 6.5mm - 	$84.00

9.5mm, 2-Pack

Group 7: ICD Leads

Sub -Group 1: Coronary Sinus Leads

Medtronic Australasia Pty Ltd

MC026	Medtronic Transvene SVC Lead Model 	Model 6937-35, Model 6937-52, Model 	35 - 110cm x  660mm	$2,340.00

6937;	6937-58, Model 6937-110; Silicone;

Sub -Group 2: Subcutaneous Leads

Guidant Australia Pty Ltd

GU123	Endotak SQ Array XP Lead Model 0085	Endotak SQ Array XP Lead Model 0085 	70 cm	$4,680.00

is used in addition to an Endotak

endocardial leads for patients with a high

DFT (Defibrillation Threshold)

Medtronic Australasia Pty Ltd

MC251	Implantable Subcutaneous Defibrillator 	Silicone and Platinum Alloy	Lengths 41-85cm inclusive	$4,680.00

Lead Model 6996SQ 41cm, 58cm,

Sub -Group 5: Transvenous/ Steroid/ Passive  Leads

Biotronik Australia Pty Ltd

BT092	Linox TD	Fractal and steroid coated passive fixation	65, 74 or 100cm length and 16 	$9,360.00

quadripolar ICD lead	or 18mm electrode spacing

Prostheses List by Category, Groups and Sponsor	Page 31 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BT093	Linox T	Passive fix RV bipolar fractal coated 	65, 75cm length	$9,360.00

steroid ICD lead

Guidant Australia Pty Ltd

GU112	Endotak Reliance S Passive	Passive fixation single coil defibrilation 	59cm, 64cm	$9,360.00

GU115	Endotak Reliance Lead	Model 0147, Model 0148 & Model 0149, 	59cm, 64cm, 90cm	$9,360.00

defibrillation lead, 9fr introducer (silicone

coated), steroid eluting, high impedence

GU158	Endotak Reliance SG Passive	Endotak Reliance SG Passive Fixation 	54cm - 90cm	$9,360.00

Passive fixation single coil defibrilation

leads with ePTFE covered

GU159	Endotak Reliance G Passive	Passive fixation dual coil defibrillation 	54cm -90cm	$9,360.00

leads with ePTFE covered coils

Medtronic Australasia Pty Ltd

MC002	Medtronic Sprint Quattro Lead Model 	Silicone and polyurethane	65-100cm	$9,360.00

6944RV/SVC 65cm; Model

6944RV/SVC 75cm; or Model

6944RV/SVC 100cm; Medtronic Sprint

Quattro Lead Model 6944RV/SVC 58cm

St. Jude Medical Australia Pty Ltd

SJ110	Riata ST Transvenous Tachyarrhythmia	Riata ST 7040/41 Passive-Fixation True-	60 - 75cm, 6.3 Fr, 7 Fr 	$9,360.00

Leads 7040/41/42 and 7050/51/52	Bipolar, Dual-Coil, Steroid-eluting,

Endocardial Defibrillation Leads, 7042 -

Single Coil, 7050/51 - Integrated Bipolar,

Dual Coil, 7052 - Integrated Bipolar,

Single Coil

SJ130	Riata ST Optim 7070/1	Passive Fixation, True bipolar, Dual Coil, 	60, 65 and 70cm length, 7Fr 	$9,360.00

Steroid Eluting, Endocardial Defibrillation 	introducer

Leads with Optim insulation overlay

SJ158	Durata 7170, 7171	Passive fixation, true bipolar, dual coil, 	60, 65 and 70cm	$9,360.00

steroid eluting, endocardial defibrillation

leads with Optium insulation overlay

Sub -Group 6: Transvenous/ Steroid/ Active Leads

Biotronik Australia Pty Ltd

BT084	Linox SD	Fractal coated and steroid electrode, 	65, 75cm length, 16, 18mm elec	$9,000.00	$9,360.00

active fixation quadrapolar

Prostheses List by Category, Groups and Sponsor	Page 32 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BT096	Linox S	Active fix RV bipolar fractal coated 	65, 75cm length	$9,000.00	$9,360.00

steroid IC lead

Guidant Australia Pty Ltd

GU163	ENDOTAK RELIANCE G Active	Active fixation Dual coil defibrillator leads	59-90cm	$9,000.00

with ePTFE covered coils

GU164	ENDOTAK RELIANCE SG Active	Active fixation single coil defibrillation 	59-90cm	$9,000.00

with ePTFE covered coils

Medtronic Australasia Pty Ltd

MC208	Medtronic Sprint Quattro Secure Lead 	Leads, Defibrillator, Implantable, Silicone,	58-100cm	$9,000.00

Model 6947 58cm; Model 6947 65cm; 	 polyurethane, platinized tantalum coils,

Model 6947 75cm; Model 6947 100cm	steroid eluting tip

MC834	Sprint Quattro Secure S	Model 6935, Active Fixation Single Coil 	52 - 100cm	$9,000.00

Defibrillation Lead

St. Jude Medical Australia Pty Ltd

SJ074	Riata Transvenous tachyarrhythmia 	Tri-polar Active - Fixation, Steroid-	60cm, 65cm, 8F introducer	$9,000.00	$9,360.00

Leads Model 1582	Eluting, Single shock Coil

SJ075	Riata Transvenous Tachyarrhythmia 	Quadripolar, dual-coil, steroid eluting, 	One size only	$9,000.00	$9,360.00

Lead Model 1580, Model 1581	active fixation tachyarrhythmia leads

SJ081	Riata i Transvenous Tachyarrhythmia 	Active fixation leads, Steroid Eluting, 	60cm, 65cm, 75cm, 8F 	$9,000.00	$9,360.00

Leads Model 1590/1591	Dual Shock Coil Defibrillation Lead

SJ084	Riata i Transvenous Tachyarrhythmia 	Active Fixation, Steroid Eluting, Single 	60cm, 65cm, 75cm, 8F 	$9,000.00	$9,360.00

Lead Model 1592	Shock Coil Defibrillation Lead

SJ096	Riata ST 7000/7001/7002	Active-Fixation True-Bipolar, Dual-Coil, 	60, 65cm 7F introducer	$9,000.00	$9,360.00

(7002 - Single-Coil) Steroid-Eluting

Steroid Eluting, Endocardial Defibrillation

SJ122	Riata ST Optim 7020/1/2 and 7030/1	7020/1 - Active fixation, true bipolar, 	60, 65 and 75cm length and 7Fr 	$9,000.00	$9,360.00

7022 - Active fixation, true bipolar - 	introducer

single coil, 7030/1 - Active fixation,

integrated bipolar, dual coil steroid eluting

endocardial defibrillation leads with

Optim insulation overlay

SJ157	Durata 7120, 7121, 7122, 7130, 7131	Active fixation bipolar, dual-coil/single 	60, 65, 75cm	$9,000.00	$9,360.00

coil Steroid-eluting Endocardial

Defibrillation Leads

Prostheses List by Category, Groups and Sponsor	Page 33 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sub -Group 7: Epicardial Patches

Medtronic Australasia Pty Ltd

MC027	Model 6721 Unipolar Epicardial Patch 	Model 6721S-50, Model 6721M-50, 	370, 660, 840mm	$2,340.00

Leads S/M/L	Model 6721L-50; Silicone

Group 8 - Cardiothoracic Grafts (Proximal Aorta)

Group 8b Modified Tube

Terumo Corporation Australia

TU036	Gelweave Valsalva Graft	Woven vascular prosthesis, polyester, 	Diameter 24 - 34 mm, Overall 	$3,320.00

gelatin sealed	length 18.4 - 19.6cm

Group 8c Tube with one side branch

Terumo Corporation Australia

TU038	Gelweave Graft	Straight Thoracic Graft, with antiflo side 	20 -34 mm x 20-40 cm	$1,715.00

branch, Polyester, woven, gelatin sealed

Group 8d Tube with multiple side branches (more than 1)

Terumo Corporation Australia

TU037	Gelweave Plexus Graft	Multi Branched, for Aortic Arch 	20 - 34 mm x 40 cm	$2,150.00

reconstruction, Polyester, Woven, gelatin

sealed

Group 8: Pacemaker Leads

Sub-Group 1: Non-transvenous, Bi-Polar, Steroid

Boston Scientific Australia Pty Ltd

BS153	Myopore	Bipolar sutureless myocardial pacing lead	25-54cm	$1,716.00

Medtronic Australasia Pty Ltd

MC011	Capsure EPI steroid eluting bipolar 	Silicone	25 - 60cm	$1,716.00

epicardial lead Model 4968 - ventricle

Prostheses List by Category, Groups and Sponsor	Page 34 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ132	Myodex 1084T	Steroid-Eluting Bipolar Sutureless 	35cm and 54cm	$1,716.00

Myocardial Pacing Lead with Titanium

Nitride Electrodes

SJ140	Myodex 1084T and FasTac Flex Lead 	Steroid -Eluting Bipolar Sutureless 	35cm and 54cm, Lead implant 	$1,716.00	$1,966.00

Implant Tool	Myocardial Pacing Lead with Titanium 	tool - 44cm

Nitride Electrodes and Lead implant tool

with articulating distal end.

Sub-Group 11: Transvenous, Bi-Polar, Passive, Steroid, Left Ventricular

Biotronik Australia Pty Ltd

BT095	Corox OTW BP	Coronary Sinus bipolar steroid	77, 87 cm length	$6,240.00

Guidant Australia Pty Ltd

GU138	Easytrak 2, Model 4514,4515, 4516, 	The Easytrak 2 lead is a dual electrode 	.	$6,240.00

4517, 4518, 4519, 4520	version of the Easytrak lead.  The

Easytrak 2 lead is a coronary sinus lead,

steroid eluting, dual electrode, pace/sense

lead.  The lead provides chronic pacing

and sensing of the left ventricle by

GU153	Easytrak 2 Is-1 Lead - Models 4542, 	Implantable left ventricular pacemaker lead	80 to 100cm	$6,240.00

4543 & 4544

GU156	Easytrak 3 Lead - Models 4521, 4522, 	Implantable left ventricular pacemaker lead	80 to 100cm	$6,240.00

4523, 4524, 4525, 4526 and 4527

GU162	Easytrak 3 IS-1 Lead	Models 4548, 4549 and 4550. Silicone 	Sizes 80 to 100cm	$6,240.00

and polyurethane insulation and

polyurethane protective sleeve

GU165	Acuity Steerable Lead	Steerable IS-1 bipolar CS LV Lead	80cm, 90 cm, 100cm	$6,240.00

Models 4554, 4555, 4556

Medtronic Australasia Pty Ltd

MC699	Attain OTW Model 4194 Lead	Model 4194	78cm, 88cm	$6,240.00

MC811	Attain Ability 4196 LV Lead	Over the wire dual electrode left 	78, 88, and 103 cm	$6,240.00

ventricular lead

St. Jude Medical Australia Pty Ltd

SJ099	QuickSite 1056T	Bipolar Steroid-Eluting, Titanium Nitride 	75cm, 6F and 86cm, 6F	$6,240.00

Coated Electrodes Guidewire/Stylet-

Placed Keft Heart Lead with Fast-Pass

Prostheses List by Category, Groups and Sponsor	Page 35 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SJ126	QuickSite XL 1058T	Bipolar, Steroid-Eluting, Titanium Nitride 	75-86cm	$6,240.00

Coated Electrodes, Guidewire/Stylet-

Placed Left Heart Lead with Fast-Pass

SJ139	Quickflex 1156T and XL 1158T	Bipolar, Steroid-Eluting, Titanium Nitride 	Length 75 and 86cm	$6,240.00

Coated Elextrodes, Guidewire/Stylet-

Placed Left Heart Lead with Fast-PassTM

a

St. Jude Medical Australia Pty Ltd

SJ208	Quick Flex µ 1258T	4F Bipolar Left Ventricular Pacing Lead	75cm, 86cm, 92cm	$6,240.00

Sub-Group 13: Transvenous, Active, Steroid, Left Ventricular

Medtronic Australasia Pty Ltd

MC730	Attain StarFix LV Lead	Over the wire left Ventricular Lead	78, 88, 103cm	$5,000.00

Sub-Group 2: Non-transvenous, Uni-Polar, Steroid

Medtronic Australasia Pty Ltd

MC053	Capsure EPI steroid eluting unipolar 	Silicone	25 - 50cm	$1,544.00

epicardial lead Model 4965 ventricle

Sub-Group 3: Non-transvenous, Uni-Polar, Non-Steroid

Guidant Australia Pty Ltd

GU037	Myocardial Pacing Lead	Model 4312 and 4316	54cm and 35cm	$1,144.00

Medtronic Australasia Pty Ltd

MC009	Medtronic Epicardial Pacing Leads IS-1 	Silicone	35 - 53cm	$1,144.00

Model 5071

Sub-Group 4: Transvenous, Uni-Polar, Passive, Steroid, Right Ventricular/Atrial

Medtronic Australasia Pty Ltd

MC254	CapSure Sense pacemaker lead Models 	Titanium Nitride	30 - 85cm	$1,248.00

St. Jude Medical Australia Pty Ltd

SJ078	IsoFlex S, Models 1645K, 1643K, 	Endocardial, Steroid Eluting, Silicone, 	34cm, 40cm, 46cm, 52cm, 	$1,248.00

Passive Fixation Leads with Fast-Pass 	58cm, 85cm, 7F

Prostheses List by Category, Groups and Sponsor	Page 36 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sub-Group 5: Transvenous, Uni-Polar, Passive, Non-Steroid, Left Ventricular

St. Jude Medical Australia Pty Ltd

SJ033	Aescula LV Model 1055K	Left Ventricular Pacing Lead	75cm	$2,735.00

Sub-Group 6: Transvenous, Uni-Polar, Passive, Steroid, Left Ventricular

Biotronik Australia Pty Ltd

BT070	Corox OTW UP Steroid	Coronary Sinus Lead	77, 87cm	$3,120.00

Boston Scientific Australia Pty Ltd

BS133	Acuity Spiral	Transvenous Left Ventricular pacing lead	80, 90 & 100cm	$3,120.00	$5,000.00

Guidant Australia Pty Ltd

GU056	Easytrak Lead	Model 4510, Model 4511, Model 4512 	65cm, 72cm, 80cm	$3,120.00

Transvenous Coronary Sinus Lead

GU152	Easytrak IS-1 Lead, Models 4535 to 4538	Implantable left ventricular pacemaker lead	80 - 90cm	$3,120.00

Medtronic Australasia Pty Ltd

MC225	Attain Over the Wire Model 4193	Titanium, polyurethane	78-88cm	$3,120.00

St. Jude Medical Australia Pty Ltd

SJ079	QuickSite Model 1056K	Unipolar, Steroid Eluting, Titanium Nitride	75cm, 6F and 86cm, 6F	$3,120.00

Electrode, Guidewire/Stylet-placed Left

Heart Lead with Fast-Pass Coating

Sub-Group 8: Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atrial

Biotronik Australia Pty Ltd

BT066	Selox ST	Transvenous Bipolar Passive Steroid 	53 and 60cm lengths	$1,248.00

Ventricular Pacing Lead, fractal coated

BT067	Selox JT	Fractal coated steroid electrode	45 and 53cm lengths	$1,248.00

Guidant Australia Pty Ltd

GU009	Fineline II Sterox IROX Lead	Model 4458, Model 4459	52cm, 58cm	$1,248.00

GU011	Fineline II Sterox IROX Lead	Model 4456, Model 4457	52cm, 58cm	$1,248.00

GU012	Fineline II Sterox IROX Lead	Model 4479, Model 4480	45cm, 52cm	$1,248.00

GU023	Guidant Aust Selute Picotip Steroid 	Model 4033, Model 4034, Model 4035, 	45cm , 52cm, 59cm	$1,248.00

Eluting Bipolar Lead	Model 4063, Model 4064

Prostheses List by Category, Groups and Sponsor	Page 37 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC010	Medtronic Capsure SP Novus Model 	Silicone Polyurethane	45 -110cm	$1,144.00

5092; Capsure SP Novus Lead Model

5592; Medtronic Capsure Model 4023

Lead; Medtronic Capsure Model 4024

Lead (med.dexamethasone) Medtronic

Capsure Model 4523(MED) Medtronic

Capsure Model 4524 Lead; Medtronic

Capsure Model

MC229	Medtronic Capsure SP Novus Model 	Silicone, platinum	30-100cm	$1,180.00

5594 Lead 30cm

MC336	Medtronic Capsure Z Novus Model 	Silicone; Contents: 1 x lead with 	45-58cm	$1,248.00

5054 Pacing Lead	anchoring sleeve, stylet & guide, 1 x vein

lifter, 2 x fixation tools, extra stylets

MC337	Medtronic Capsure Z Novus Model 	Silicone; Contents: 1 x lead with 	45-58cm	$1,248.00

5554 Pacing Lead	anchoring sleeve, stylet & guide, 1 x vein

lifter, 2 x fixation tools, extra stylets

MC371	Medtronic Capsurefix Model 6940 	Silicone Polyurethane	30 - 85cm	$1,180.00

Pacing Lead;  Medtronic Tined IS-1

Model 4557M; Medtronic Capsurefix

Model 4067/8/4568 Pacing Leads;

Medtronic Capsurefix Model 5067

Pacing Leads; Medtronic Capsurefix

Model 5068 Pacing Leads; Capsure SP

MC372	CapSure Sense pacemaker lead Models 	Titanium Nitride	CapSure Sense Lead Model 	$1,248.00

4074 & 4574	4074 - 30cm to 85cm; CapSure

Sense Lead Model 4574 - 30cm

St. Jude Medical Australia Pty Ltd

SJ082	Isoflex S, Models 1646T, 1642T and 	endocardial, Steroid Eluting, Silicone, 	34cm, 40cm, 46cm, 52cm, 	$1,248.00

Passive Fixation Pacing Leads with Fast-	58cm, 85cm, 7F, 120cm 8F

Pass Coating

SJ097	Isoflex P 1644T and 1648T	Endocardial, Steroid Eluting, 	1648T - 34-85cm 1644T - 34-	$1,248.00

Polyurethane, Passive-Fixation Bipolar

Pacing Leads with Fast-Pass Coating

SJ146	Isoflex 1944T & 1948T	Passive-Fixation, Bipolar, Steriod Eluting, 	46cm, 52cm, 58cm	$1,248.00

Endocardial Pacing Lead with Optim

insulation

Prostheses List by Category, Groups and Sponsor	Page 38 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

b

Guidant Australia Pty Ltd

GU028	Guidant Aust Selute Picotip VDD Lead	Model 4340, Model 4341, Model 4342 & 	.	$1,544.00

Model 4343

Medtronic Australasia Pty Ltd

MC052	Medtronic Capsure VDD2 Model 5038 	Silicone; Contents: 1 x lead with 	11.5cm, 13.5cm, 15.5cm	$1,544.00

AV Pacing Lead	anchoring sleeve, stylet & guide, 1 x vein

lifter, 2 x fixation tools, extra stylets

Sub-Group 9: Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial

Biotronik Australia Pty Ltd

BT063	Selox SR	Lead, pacemaker, implantable, 	45, 53, 60cm length	$1,248.00

BT083	Setrox S	Bipolar active fixation lead with fractal 	length 45, 53, 60cm	$1,248.00

coated and steroid eluting electrode

BT097	Dextrus (marketed by Boston Scientific)	Bipolar, silicone, active fixation, steroid 	7Fr, with 45cm, 53cm and 	$1,248.00

eluting, pacing lead	60cm length options

Guidant Australia Pty Ltd

GU013	Fineline II EZ Sterox IROX Lead	Model 4472, Model 4473 & Model 4474	45cm, 52cm, 58cm	$1,248.00

GU016	Fineline II EZ Sterox IROX Lead	Model 4469, Model 4470 & Model 4471	45cm, 52cm, 58cm	$1,248.00

GU122	Flextend Lead Models 4086, 4087 & 	Bipolar, steroid eluting, transvenous 	45,52,59cm	$1,248.00

silicon pace/sense leads with an

extendable/retractable active fixation for

implantation into the atrium or ventricle

Medtronic Australasia Pty Ltd

MC008	Medtronic Capsurefix Model 5568 	Silicone Polyurethane	30 - 85cm	$1,215.00

Pacing Leads

MC338	Medtronic Capsurefix Novus Model 	Silicone; Contents: 1 x lead with 	45-85cm	$1,248.00

5076 Pacing Lead	anchoring sleeve, stylet & guide, 1 x vein

lifter, 2 x fixation tools, extra stylets

MC833	CapSureFix Novus Model 4076 Pacing 	Active fixation pacemaker lead	45 - 85cm	$1,248.00

MC936	CapSure Fix MRI Pacing Lead	Model 5086, MRI Conditional	42, 52, 58 cm	$1,248.00

St. Jude Medical Australia Pty Ltd

SJ073	Tendril SDX Models 1688T and 	Endocardial Steroid-Eluting Active 	100cm, 25cm, 34cm, 40cm, 	$1,248.00

Fixation Pacing Lead	46cm, 52cm, 58cm, 85cm, 7F

Prostheses List by Category, Groups and Sponsor	Page 39 of 865

CARDIO-THORACIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SJ118	OptiSense 1699T/1699TC	Endocardial, Bi-polar Active-fixation 	40-58cm	$1,248.00

Pacing Leads with Optim Insulation

SJ125	 Tendril ST 1788T/TC and 1782TC	Endocardial Bipolar Steroid-Eluting Active	40cm, 46cm, 52cm, 58cm, 65cm	$1,248.00

Fixation Pacing Leads

SJ129	Tendril ST 1888TC and 1882TC	Endocardial Bi-polar Steroid-Eluting 	46-65cm	$1,248.00

Active Fixation Pacing Leads

SJ151	OptiSense Model 1999	Active-Fixation Bipolar, Steroid Eluting, 	40, 46 & 52cm	$1,248.00

endocardial, atrial pacing lead with Optim

insulation

a

Medtronic Australasia Pty Ltd

MC301	Model 3830 PACING LEADS	Active fixation pacemaker lead	59 - 75 cm	$2,600.00

Composition: Insulation is polyurethane,

Electrodes are Titanium Nitride coated

Platinum, the screw is steriod-coated

Group 9: Pacemaker/ICD Adaptors

Guidant Australia Pty Ltd

GU129	LV-1 Lead Adaptor to IS-1	Connects Left ventricular leads to IS-1 	One size only	$500.00

ports in pacemakers and defibrillators to

replace abnormal cardiac excitation

GU130	Y Adaptor	Connects multiple defibrillator electrodes 	One size only	$500.00

to a common port, enabling the use of

shocks to revert Ventricular Tachycardia

and normal cardiac function to return

Medtronic Australasia Pty Ltd

MC246	DF-I Y-Adaptor/Extender Model 6726 	Silicone	Lengths 25cm, 37cm	$500.00

25cm & 37cm

MC778	Oscor Adaptor	Adaptor for LV-1 lead to unipolar and 	10cm, 17cm and 40cm	$500.00

bipolar IS-1

MC832	Adaptor Kit Model 5866-24M, 5866-	Silicone	14cm	$500.00

40M, 5866-37M, Bipolar Lead Adaptor

Kit Model 2872

Prostheses List by Category, Groups and Sponsor	Page 40 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.1.2 Cochlear Implants

2.1.2.2 Cochlear Implants - Implantable Auditory Stimulator - Generation 2

Pacing Importers Pty Ltd - Life Systems

PI005	Combi C40+ Implantable Auditory 	Cochlear Implant	One Size Only	$11,450.00

Stimulator

2.1.2.3 Cochlear Implants - Implantable Auditory Stimulator - Generation 3

Cochlear Limited

CO013	Nucleus 24k Cochlear Implant	 Model CI24R (ST) coclear implant.  A 	One size only	$10,600.00

Nucleus 3 system cochlear implant with

straight electrode array

Perimodiolar

Cochlear Limited

CO014	Nucleus 24 Contour Advance Cochlear 	Model CI24R (CA) coclear implant. A 	One size only	$11,600.00

Implant	Nucleus 3 system cochlear implant with

the Contour Advance electrode array

2.1.2.4 Cochlear Implants - Implantable Auditory Stimulator - Generation 4

Boston Scientific Australia Pty Ltd

BS159	Harmony ™ HiResolution® Bionic Ear 	The HiRes 90K with HiFocus 1j Electrode	Straight array (1j).  56.0mm (L) 	$12,570.00

System - HiRes 90K Implant Cochlear 	 is the implanted component of the 	x 28.0mm (W) x 3.0mm (D)

Stimulator with HiFocus 1j Electrode	HiResolution Bionic Ear System. It

receives information through an RF

transmission coil, processes the

information and then sends the resulting

signal to an electrode array implanted in

the cochlea. It consists of

receiving/transmitting coil, Stimulator

electrodes and HiFocus 1j Electrode

Prostheses List by Category, Groups and Sponsor	Page 41 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BS160	Harmony ™ HiResolution® Bionic Ear - 	The HiRes 90K with HiFocus Helix 	Helix (coiled) electrode array - 	$13,570.00

HiRes 90K Implant Cochlear Stimulator 	Electrode is the implanted component of 	56.0mm (L) x 28.0mm (W) x

with HiFocus Helix Electrode	the HiResoulution Bionic Ear System. It 	3.0mm (D)

receives information through an RF

tranmission coil, precesses the

information and then sends the resulting

signal to an electrode array implanted in

the cochlea. It consists of

receiving/transmitting coil, Stimulator

electronics and HiFocus Helix Electrode

Cochlear Limited

CO024	Nucleus Freedom Implant with Straight 	Speech processor and accessories - Initial	One size only	$12,570.00

Electrode

Pacing Importers Pty Ltd - Life Systems

PI011	Sonata Ti 100 Cochlear Implant	Cochlear implant, titanium casing, 24 	45.7mm length, width at coil 	$12,570.00

independent current sources, sequential 	29.0mm, width at stimulator

and parallel stimulation modes up to 	24.8mm, thickness at coil

50,074 pulses per sec, 19 or 24 oval-	3.7mm, thickness at stiulator

shaped platinium electrodes, different sizes	5.9mm.  Standard Electrode -

length 31.5mm, spacing 2.4mm;

Medium - length: 20.9mm,

Spacing 1.9mm; Compressed

(short) - length 12.1mm, Electro

PI012	PULSAR CI 100	Cochlear implant, ceramic casing, 24 	Length: 31.5mm, Electrode 	$12,570.00

independent current sources, sequential 	Spacing: 2.4mm

and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with

standard length electrode array (contact

PI013	PULSAR CI 100	Cochlear implant, ceramic casing, 24 	Length: 20.9mm, Electrode 	$12,570.00

independent current sources, sequential 	Spacing: 1.9mm

and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with

medium length electrode array (contact

PI014	PULSAR CI 100	Cochlear implant, ceramic casing, 24 	Length: 12.1mm, Electrode 	$12,570.00

independent current sources, sequential 	Spacing: 1.1mm

and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with

short length electrode array (contact

Prostheses List by Category, Groups and Sponsor	Page 42 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PI015	PULSAR CI 100	Cochlear implant, ceramic casing, 24 	Length: 4.4mm & 6.6mm, 	$12,570.00

independent current sources, sequential 	Electrode Spacing 1.1mm

and parallel stimulation modes up to

50,074 pulses per sec, 24 oval-shaped

platinium electrodes. Stimulator with

double electrode array (contact extent

PI016	PULSAR CI 100	Cochlear implant, ceramic casing, 24 	Length: 26.4mm, Electrode 	$12,570.00

independent current sources, sequential 	Spacing: 2.4mm

and parallel stimulation modes up to

50,074 pulses per sec, 19 oval-shaped

platinium electrodes. Stimulator with

standard length electrode array (contact

extent 26.4mm) with incr

PI017	PULSAR CI 100	Cochlear implant, ceramic casing, 24 	Length: 20.9mm, Electrode 	$12,570.00

independent current sources, sequential 	Spacing: 1.9mm

and parallel stimulation modes up to

50,074 pulses per sec,19 oval-shaped

platinium electrodes. Stimulator with

medium length electrode array (contact

extent 20.9mm) with increas

Electroacoustic, Hybrid Technology

Pacing Importers Pty Ltd - Life Systems

PI018	Sonata TI with FLEX EAS electrode	Cochlear Implant with atraumatic 	One size	$12,570.00

electrode specifically designed for partial

deafness & hearing preservation surgery

Hybrid Technology

Cochlear Limited

CO043	Nucleus Hybrid L 24 Implant	A Nucleus Freedom cochlear implant 	One size	$12,570.00	$13,570.00

featuring a special 16mm, 22 contact

point electrode array

Perimodiolar

Cochlear Limited

CO021	Nucleus Freedom Implant with Contour 	Model C124RE (CA), Generation 4 	one size only	$13,570.00

Advance Electrode	Cochlear implant with perimodiolar

electrode array.  Titanium casing,

removable magnet, 22 half-banded

platinum electrodes, moulded in a durable

Prostheses List by Category, Groups and Sponsor	Page 43 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CO046	Cochlear™ Nucleus® CI512 Cochlear 	Model CI512, 5th generation cochlear 	One Size	$13,570.00

Implants with Contour Advance 	implant with perimodiloar electrode array.

Titanium casing, removable magnet, 22

half-banded platinum electrodes, moulded

in a durable silicone seal.

2.1.3 Speech Processors

2.1.3.2 Initial - Generation 2

Pacing Importers Pty Ltd - Life Systems

PI006	Tempo+ Auditory Implant Speech 	Tempo+ Auditory  Implant Speech 	One Size Only	$11,500.00

2.1.3.4 Initial - Generation 4

Boston Scientific Australia Pty Ltd

BS161	Harmony™ HiResolution® Bionic Ear 	The Auria Harmony Processor is an 	Sound Processor Size 54 mm 	$11,500.00

System - Behind The Ear Sound 	external component of the HiRes Bionic 	(H) x 13mm (TH) x 21 mm (w).

Processor - Auria Harmony Sound 	Ear System. This processor is intended to	 Headpiece Diameter: 28.1 mm

Processor (INITIAL Order)	 deliver HiResolution sound to a cochlear

implant by converting sound waves

(received via a microphone) into an

electrical signal which is then transmitted

to the implant via a headpiece. This listing

includes sound processor, headpiece,

earhooks, powercels, rechargers, cables

and essential accessories.

BS164	Harmony™ HiResolution® Bionic Ear 	The Platinum Sound Processor is a body 	PSP only one size; 2.69' x 2.19" 	$11,500.00

System -Body worn sound processor - 	worn component of the HiRes Bionic Ear 	x 0.81"

Platinum Series Processor (PSP) 	System. This processor is intended to 	Headpiece cable : options 18, 24,

INITIAL Order	deliver HiResolution sount to a cochlear 	 32, 42 and 48 inches

implant by converting soundwaves

(received via a microphone in the

Platinum Headpiece) into an electrical

signal that is then transmitted to the

implant via the headpiece. This listing

consists of the sound processor,

headpiece, connecting cables, and

Cochlear Limited

CO022	Nucleus Freedom Speech Processor - 	Speech processor (modular) and 	One size only	$11,500.00

CO048	Cochlear™ Nucleus® CP810 Sound 	The ear level sound processor of the 	One size	$11,500.00

Processor - INITIAL	Nucleus 5 cochlear implant system with

multiple wearing options and a remote

Prostheses List by Category, Groups and Sponsor	Page 44 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Pacing Importers Pty Ltd - Life Systems

PI009	OPUS 2 Speech Processor	Cochlear implant speech processor, fine 	54.0mm x 35.1mm x 8.7mm	$11,500.00

structure speech processing, remote

control, interface for assistive listening

devices according to the international

hearing aid standard (initial patient kit)

Electroacoustic

Cochlear Limited

CO044	Freedom Hybrid Sound Processor 	The modular sound processor of the 	One size	$12,950.00

Cochlear Hybrid system provides dual

electrical and acoustic processing within

a single device. Acoustic amplication is

delivered through the acoustic component

and electrical stimuation via the Nucleus

Pacing Importers Pty Ltd - Life Systems

PI007	Duet EAS Hearing System	Cochlear implant speech processor and 	Length 53.5mm, width 8.5mm, 	$12,950.00

accoustic hearing aid combined in one 	Height 58.4mm (one size only)

PI019	DUET 2	Audio Processor for Electric and 	50.6mm x 8.5mm x 59.7mm	$12,950.00

Acoustic Stimulation (2nd Generation

2.1.3.7 Replacement - Generation 3

Cochlear Limited

CO019	ESPrit 3G Speech Processor - 	Speech processor, Generation 3	Cable lengths: 6, 8, 10, 20, 28cm	$6,790.00

2.1.3.8 Replacement - Generation 4

Boston Scientific Australia Pty Ltd

BS162	Harmony™ HiResolution® Bionic Ear 	The Auria Harmony Processor is an 	Sound Processor - one size 54 	$8,050.00

System -Behind The Ear Sound 	external component of the HiRes Bionic 	mm (H) x 13mm (TH) x 21 mm

Processor - Auria Harmony Sound 	Ear System. This processor is intended to

Processor (REPLACEMENT Order)	 deliver HiResolution sound to a cochlear

inplant by converting sound waves

(received via a microphone) into an

electrical signal which is then transmitted

to the implant via a headpiece. This listing

Prostheses List by Category, Groups and Sponsor	Page 45 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BS165	Harmony™ HiResolution® Bionic Ear 	The Platinum Sound Processor is a body 	PSP: one size; 2.69' x 2.19" x 	$8,050.00

System - Body worn Platinum Sound 	worn component of the HiRes Bionic Ear

Processor (PSP) REPLACEMENT Order	System. This processor is intended to

deliver HiResolution sount to a cochlear

implant by converting soundwaves

(received via a microphone in the

Platinum Headpiece) into an electrical

signal that is then transmitted to the

implant via the headpiece. This listing

comes with the processor only.

Cochlear Limited

CO023	Nucleus Freedom Speech Processor	Speech processor, and accessories - 	one size only	$8,050.00

REPLACEMENT

CO049	Cochlear™ Nucleus® CP810 Sound 	The ear level sound processor of the 	One size	$8,050.00

Processor - REPLACEMENT	Nucleus 5 cochlear implant system with

multiple wearing options and a remote

Pacing Importers Pty Ltd - Life Systems

PI010	Opus 2 Speech Processor Replacement	Cochlear implant speech processor, fine 	54.0mm x 35.1mm x 8.7mm	$8,050.00

structure speech processing, remote

control, interface for assistive listening

devices according to the international

hearing aid standard (replacement kit)

Electroacoustic

Cochlear Limited

CO045	Freedom Hybrid Sound Processor 	The modular sound processor of the 	One size	$9,065.00

(Replacement)	Cochlear Hybrid system provides dual

electronic and acoustic processing within

a single device. Acoustic amplication is

delivered through the acoustic component

and electrical stimulation is delivered via

the Nucleus Hybrid L24 implant.

2.1.4 Cochlear Implants, Accessory Kit or Item

Boston Scientific Australia Pty Ltd

BS163	Harmony ™ HiResolution® Bionic Ear 	1x HPwcable; 1x direct connect	various	$500.00

System - Behind the Ear Sound 	earhook; 1x standard earhook;

Processor Auria Harmony Essential 	1x audio cable; 1x monitor

earphone.

Prostheses List by Category, Groups and Sponsor	Page 46 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BS166	Harmony ™ HiResolution® Bionic Ear 	1x HP cable; 1x Auxiliary	various	$500.00

System - Body worn Sound Processor -	microphone; 1x telephone

Platinum Series Processor (PSP) 	adaptor; 1x monitor earphone

Essential Accessory Kit

2.1.4.1 Cochlear Implants - Accessory Kit or Item, Initial

Cochlear Limited

CO020	Nucleus Cochlear Implant Accessory 	Accessory set consists of accessory 	Lapel microphone comes in 	$500.00

Kit - ESPrit 3G Speech Processor	adapter cable, lapel microphone & lapel 	lengths of 40-150cm

clip, battery cover set and accessory case

2.1.5 Implantable Bone Conduction Hearing System

2.1.5.1 Implantable bone conduction hearing system, Sound processor, Generation 1 - Body

Cochlear Limited

CO033	Baha Cordelle II sound processor	A powerful sound processor for the Baha	One Size	$6,000.00	To be claimed only for patients

hearing system with a bodyworn unit 	with deafness who have

and a head worn transducer.  Available in 	problems using air conduction or

three colours. Body worn sound 	 conventional hearing aids which

processor for the Baha hearing system.	is made worse when a hearing

2.1.5.4 Implantation bone conduction hearing system, Sound processor, Generation 2 -

Cochlear Limited

CO040	Baha Divino sound processor	Head worn digital sound processor for 	One Size	$6,000.00

the Baha hearing system.  Available in

four colours and left and right side

CO041	Baha Intenso sound processor	Head worn digital sound processor for 	One size	$6,000.00

the Baha hearing system.  Available in

four colours.

CO047	Cochlear™ Baha® BP100 sound 	Fully programmable head worn sound 	One size - 30 x 21 x 12mm	$6,500.00	$6,900.00

processor for the Baha implantable bone

conduction hearing system

Prostheses List by Category, Groups and Sponsor	Page 47 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.1.5.5 Implantable bone conduction hearing system, Osseointegration abutment

Cochlear Limited

CO025	Baha Abutment Snap Coupling	Titanium abutment delivered with a gold 	5.5mm - 9035, 8.5mm - 90410	$895.00

screw and holder, individually packaged

and sterile.  The 5/5mm is for standard

use and the 8.5mm for patients that have

persistent regrowth of subcutaneous tissue

CO032	Flange fixture - self tapping fixture with 	Self tapping titanium flange fixture with 	Self Tapping 4mm and 3mm 	$1,930.00

pre-mounted abutment	abutment in two sizes:  3mm and 4mm	with BAHA Abutment

2.1.5.6 Implantable bone conduction hearing system, Cover screw

Cochlear Limited

CO028	BAHA - Cover screw unigrip	Titanium coverscrews, individually 	One size only	$142.00

packaged and delivered sterile.  The cover

screws are used to prevent bone

overgrowth of the implant.

2.1.5.7 Implantable bone conduction hearing system, Osseointegration fixture

Cochlear Limited

CO030	Self tapping fixture with pre-mounted 	Self tapping titanium flange fixture 	Self Tapping 4mm and 3mm	$1,035.00

fixture mount	premounted with a disposable fixture

mount.  Available in two sizes: 3mm and

4mm.  Used in two stage surgical

2.1.6 Ossicle/Middle Ear Prosthesis

2.1.6.1 Ossicle/Middle Ear Prosthesis, Stapes - Metal

LMA PacMed Pty Ltd

PM032	K-Piston	Gold/Titanium	ID 0.4,0.6mm	$104.00	$222.00

Medtronic Australasia Pty Ltd

MC922	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 	$104.00	$330.00

4.0 x 10.2mm; 4.0 - 4.75mm

Prostheses List by Category, Groups and Sponsor	Page 48 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Olympus Australia

OL022	Piston: Stapes Prosthesis	a) Armstrong. Platinum, b) McGee. 	a) 0.6x3.5-0.8x5mm, b) 	$104.00

Stainless steel, c) Richards.  Teflon & 	0.6x3.25-0.8x5.5mm, c)

OL023	Piston: Stapes Prosthesis	Fisch-Type Platinum or Stainless Steel	0.4mm  x 6mm	$104.00

Extra large

Medtronic Australasia Pty Ltd

MC918	The Big Easy Piston	Big Easy Range - MRI Safe, Triple Width	0.4 - 1.17mm x 0.9 - 4.0mm x 	$104.00	$350.00

Platinum Band, Double Width Platinum 	4.0 x 10.2mm; 4.0 - 4.75mm

Shaft with Offset Versions

2.1.6.2 Ossicle/Middle Ear Prosthesis, Stapes - Non-metal

Medtronic Australasia Pty Ltd

MC923	Middle Ear Prostheses	Stapes	0.4 - 1.17mm x 0.9 - 4.0mm x 	$104.00	$330.00

4.0 x 10.2mm; 4.0 - 4.75mm

Olympus Australia

OL012	Canal Wall Prosthesis	Grote, HA	Small - Large	$104.00	$543.00

OL014	Ossicular Prosthesis	Attic Defect Plate, HA	7-14mm	$104.00	$335.00

OL018	Piston: Stapes Prosthesis	a) Schuknecht Malleus att Piston. 	a) 0.6x5.5mm-0.8x6.5, b) 	$104.00

Stainless steel, b) Cawthorne. 	0.3x0.8x3.5-0.3x0.8x6mm, c)

Fluoroplastic, c) Fluoroplastic, d) 	0.6x0.6x3.5-0.8x0.6x6mm, d)

Schuknecht. Stainless steel, e) Causse.  	 0.4x3.5-0.5x5mm, e) one size

OL024	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3.5mm - 0.8x5mm	$104.00

OL025	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3mm - 0.8x5.75mm	$104.00

OL075	Piston: Stapes Prosthesis	Smart: Nitinol/Flouroplastic	0.5, 0.6, 0.8 x 3.75-4.75mm	$104.00	$535.00

2.1.6.3 Ossicle/Middle Ear Prosthesis, Incus - Metal

Stryker Australia Pty Ltd

ST795	Titanium Middle Ear Prostheses	Fisch Incus Prostheses: short, medium, 	All Sizes	$238.00

large, Titanium

Prostheses List by Category, Groups and Sponsor	Page 49 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.1.6.5 Ossicle/Middle Ear Prosthesis, Middle Ear Bone, Malleus - Metal

Medtronic Australasia Pty Ltd

MC924	Middle Ear Prostheses	Malleus	0.4 - 1.17mm x 0.9 - 4.0mm x 	$190.00	$330.00

4.0 x 10.2mm; 4.0 - 4.75mm

Stryker Australia Pty Ltd

ST796	Titanium Middle Ear Prostheses	Fisch Neomalleus Prostheses, Titanium	1.1x5mm	$190.00

2.1.6.6 Ossicle/Middle Ear Prosthesis, Middle Ear Bone, Malleus - Non-Metal

Medtronic Australasia Pty Ltd

MC919	Prostheses Malleus	Hydroxyapatite	0.6 - 4.0mm x 2.7 - 5.0mm x 	$190.00	$330.00

1.5 - 10.0mm

2.1.6.9 Ossicle/Middle Ear Prosthesis, Middle Ear Bone, TORP or PORP

PORP

LMA PacMed Pty Ltd

PM028	Stapes	Bell/Aerial/Angular Prosthesis/Piston  - 	1.75 - 7.00mm	$104.00	$401.00

Gold/Titanium

Medtronic Australasia Pty Ltd

MC262	Partial Ossicular Reconstruction Implant	Malleus + Incus	0.4 - 1.17mm x 2.2 - 8.8mm x 	$360.00

3.5 - 10.0mm

MC920	Flex H/A Incus Necrosis Prostheses	2.5 - 4.0mm x 10.0mm	$190.00	$490.00

MC921	Middle Ear Prostheses	Malleus+ Incus	Small, Medium, Large, 0.6 x 2.2	$360.00

x 8.0mm

Olympus Australia

OL016	Ossicular Prosthesis - PORP	Sheehy plastipore, Drum to stapes, Grote 	One size only	$104.00	$360.00

Malleus to stapes, modified, centered or

offcentered

OL017	Ossicular Prosthesis - PORP/TORP	Goldenberg Malleable/HA	One Size Only	$104.00	$580.00

Stryker Australia Pty Ltd

ST798	Titanium Middle Ear Prostheses	Fisch Total Prostheses: with foot, Titanium	0.6x10mm	$104.00

Prostheses List by Category, Groups and Sponsor	Page 50 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PORP, TORP

O R Paradigm Pty Ltd

OS001	ALTO Prosthesis	Adjustable Length Titanium Ossicular 	Head Size 2.5mm x 3.5mm; 	$360.00	$675.00

Chain Reconstruction Prosthesis	Length 2.0mm - 8.0mm; Distal

Diameter 0.8mm - 1.2mm

Olympus Australia

OL015	Ossicular Prosthesis Incus 	a) Applebaum HA,  b) Goldenberg HA,  	a) small - large, b) one size only,	$104.00	$580.00

c) Kartusch HA , d) Grote HA, e) Wehrs 	 c) short, medium, long, d) 7-

(single & double notched) HA	10mm, e) short, average,

OL019	Ossicular Prosthesis -TORP 	a) black spanner strut HA, b) black oval 	a) one size only, b) 7-10mm, c) 	$104.00	$675.00

top TORP HA, c) black oval top PORP, 	0.5-0.7mm

universal, HA/fluoroplastic

OL073	Dornhoffer Prostheses	Hydroxyapetite head/HAPEX shaft PORP 	0.8mm Shaft Dia TORP, 1.3mm	$104.00	$360.00

and TORP	 Shaft Diameter PORP

OL074	Ossicular Chain Prosthesis	Micron adjustable TORP/PORP. Titanium	2-10mm, 2-5mm	$360.00	$500.00

TORP

Medtronic Australasia Pty Ltd

MC260	Middle Ear Prosthesis	Total Ossicular Reconstruction Implants	0.6 - 0.8mm x 3.0 - 4.0mm x 	$360.00	$490.00

7.0 - 8.0mm

MC261	Universal Ossicular Reconstruction 	Malleus + Incus + Stapes	0.6 - 1.17mm x 0.3 - 4.0mm x 	$360.00	$490.00

Implants - Titanium	4.75 - 8.0mm

MC263	Total Ossicular Reconstruction Implant	Malleus + Incus + Stapes	0.5 - 0.6mm x 3.5 - 6.0mm and 	$360.00	$490.00

One Size Only

Olympus Australia

OL013	Ossicular Prosthesis Malleus, Incus and 	Goldenberg Footplate - HA	One size only	$104.00	$360.00

Stapes

OL020	Ossicular Prosthesis -TORP 	Fisch plastipore, Causse modified 	One size only	$104.00	$360.00

plastipore, Shea modified plastipore/

fluoroplastic, Austin modified plastipore,

OL021	Ossicular Prosthesis -TORP 	a) Shea malleable, HA/plastipore, b) Shea 	a) one size only, b) 4-8mm	$104.00

plastipore

Prostheses List by Category, Groups and Sponsor	Page 51 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.1.7 Ventilation Tube/Grommet

2.1.7.10 Ventilation Tube/Grommet, Silicone, Short Term

LMA PacMed Pty Ltd

PM090	Tympo Vent	Otological ventilation tubes, armstrong	Length 3.8 - 10.0mm	$20.00

Ab, Med

Medtronic Australasia Pty Ltd

MC279	Medtronic Vent Tubes	Antimicrobial Ventilation Tube	1.02 - 1.27mm x 2.7 - 9.1mm	$20.00	$22.00

Med

Medtronic Australasia Pty Ltd

MC276	Medtronic Vent Tubes	Silicone	0.76 - 1.27mm x 1.0 - 7.5mm	$20.00

2.1.7.11 Ventilation Tube/Grommet, Silicone, Medium Term

Medtronic Australasia Pty Ltd

MC927	Medtronic Vent Tube	1.02 - 1.52mm x 1.3 - 12.0mm	$20.00

Olympus Australia

OL027	Ventilation Tube	Shepard grommet, fluoroplastic or 	1.02 -1.14mm	$20.00

silicon, vent tube w/wire.

OL032	Ventilation Tube	T-Tube Richards Modified Soft Silicon 	1.32mm	$20.00

OL035	Ventilation Tube	Grommet - Sha Mini. Teflon	0.76mm	$20.00

OL036	Ventilation Tube	Shah. Teflon, Silicon	5.1mm	$20.00

OL055	Ventilation Tube	Collar Button Silicon	1.27mm	$20.00

OL058	Ventilation Tube	Donaldson Silicon	1.14mm	$20.00

OL059	Ventilation Tube	Donaldson Soft Silicon	1.14mm	$20.00

OL060	Ventilation Tube	Donaldson Silicon w/Tab	1.14mm	$20.00

OL061	Ventilation Tube	Donaldson Fluoroplastic	1.14mm	$20.00

OL063	Ventilation Tube	Duravent Silicon	1.27mm	$20.00

OL066	Ventilation Tube	Shea  w/Tab - Silicone	0.76mm	$20.00

OL067	Ventilation Tube	Shea Parasol w/Tab Small Flange - 	1.02mm	$20.00

OL068	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.02mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 52 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

OL069	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.52mm	$20.00

Ab

Olympus Australia

OL030	Ventilation Tube	T-Tube Richards Silicon, Soft Silicon, 	1.14mm	$20.00

OL031	Ventilation Tube	T-Tube Richards Modified Silicon & 	1.32mm	$20.00

OL033	Ventilation Tube	Butterfly T-Tube Silicon & Ultrasil	Silicon - one size only. Ultrasil - 	$20.00

one size only.

OL034	Ventilation Tube	Armstrong Beveled Grommet Ultrasil 	1.14mm	$20.00

Silicon w/Tab

OL052	Ventilation Tube	Collar Button Ultrasil Silicon	1.27mm	$20.00

OL062	Ventilation Tube	Donaldson Ultrasil Silicon	1.14mm	$20.00

OL064	Ventilation Tube	Duravent Blue Ultrasil	1.27mm	$20.00

Ab, Med

Medtronic Australasia Pty Ltd

MC270	Medtronic Vent Tubes	Antibacterial/Antimicrobial	1.27 x 2.9 x 1.3mm	$20.00	$22.00

MC280	Medtronic Vent Tube	Antibacterial/Antimicrobial	1.02 - 1.52mm x 1.3 - 12.0mm	$20.00	$22.00

Med

BR & CT Enterprises Pty Ltd

BC017	Ventilation Tubes - Silicone	Armstrong Grommet, Donaldson w & 	1.1mm & 1.5mm lumen	$20.00

w/o Tab, Paparella 1 and Paparella 2

Medtronic Australasia Pty Ltd

MC278	Medtronic Vent Tubes	Silicone	0.76 - 1.27mm x 1.5 - 12.0mm	$20.00

Sm

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG012	Micromedics Ventilation Tubes	Micromedics; Paparella-I / 	$20.00

Paparella-II; 1.14mm / 1.42mm

lumen; Silicone; box of 6 / box

of 50

MG013	Micromedics Ventilation Tubes	Micromedics; T-tubes; 	$20.00

(12x10)/(5x8)/(5x4)/(8x5.5);

1.14mm / 1.27mm / 1.4mm

lumen ; silicone; box of 6 / box

Prostheses List by Category, Groups and Sponsor	Page 53 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.1.7.12 Ventilation Tube/Grommet, Silicone, Long Term

LMA PacMed Pty Ltd

PM068	Tympo Vent	Otological ventilation tubes, short medium	Length 2.8	$20.00

term, star tube, silicone

PM072	Tympo Vent	Otological ventilation tubes, short medium	Length 12.4	$20.00

term, shepard with tail, silicone/blue

PM074	Tympo Vent	Otological ventilation tubes,  paparella 	Length 2.2mm	$20.00

with tab

PM079	Tympo Vent	Otological ventilation tubes, t-tube	Length 6 - 12mm	$20.00

Med

BR & CT Enterprises Pty Ltd

BC010	Ventilation tube	Ventilation tube - Silicone - T-tube, T-	1.1mm; 1.27mm lumen	$20.00

tube grommet

BC011	Ventilation Tubes - Collar Button	Teflon, w/o wire	1.10mm, 1.25mm, 1.50mm 	$20.00

Endocorp Pty Ltd

EC031	Exmoor Plastics Ear Vent Drains - 	With tab, silicone rubber	1.1 mm lumen dia x 2.25 mm 	$20.00

Donaldson Grommet	inner flange dia x 2.25 mm outer

flange dia x 0.76 inter flange.

2.25 mm total length

2.1.7.13 Ventilation Tube/Grommet, Other Material, Short Term

LMA PacMed Pty Ltd

PM075	Tympo Vent	Otological ventilation tubes, collar button,	Length 1.5mm	$20.00

tubingen type gold, gilded silver

2.1.7.14 Ventilation Tube/Grommet, Other Material, Medium Term

Lifehealthcare Pty Ltd

LH404	NeoZoline Otological Ventilation Tubes	Armstrong, Collar Button, Shepard, 	1.10mm, 1.14mm, 1.27mm, 	$20.00

Reuter, Donaldson, Paparella, Shah	1.40mm, 0.76mm

Prostheses List by Category, Groups and Sponsor	Page 54 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sm

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG003	Micromedics Ventilation Tubes	Micromedics;Shepard;1.0mm / 	$20.00

1.14mm lumen;Fluroplastic /

Silicone;w.tab / w.wire;box of 6

/ box of 50

MG011	Micromedics Ventilation Tubes	Micromedics; Donaldson; 	$20.00

1.14mm lumen; Silicone /

Fluroplastic; w.tab; box of 6 /

MG014	Micromedics Ventilation Tubes	Micromedics;  Armstrong; 	$20.00

bevelled straight / grommit /

w.wire;  7mm / 7.5mm /

1.14mm; silicone / fluroplastic;

2.1.7.15 Ventilation Tube/Grommet, Other Material, Long Term

LMA PacMed Pty Ltd

PM083	Tympo Vent	Otological ventilation tubes, long term, 	Length 1.5	$20.00	$27.00

collar button - tubingen type, titanium

PM086	Tympo Vent	Otological ventilation tubes, short medium	Length 1.6	$20.00	$27.00

term, reuter bobbin without holes, titanium

Ab

Olympus Australia

OL065	Ventilation Tube	Paparella w/tab Fluoroplastic, Silicon, 	1.02 - 2.03mm	$20.00

Soft Silicon, Ultrasil

Med

Enta Surgical

ES001	Trocar Myringotomy Tube	Myringotomy Tube with Trocar - Gold 	One Size Only	$20.00	$38.00

Coated Silver; Myringotomy Tube with

Trocar - Titanium; Myringotomy Tube

with Trocar, with wire - Gold Coated

Silver; Myringotomy Tube with Trocar,

with wire - Titanium

Prostheses List by Category, Groups and Sponsor	Page 55 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.1.7.2 Ventilation Tube/Grommet, Stainless Steel, Medium Term

Olympus Australia

OL041	Ventilation Tube	Bobbin - Reuter Stainless Steel	1mm  	$20.00

OL042	Ventilation Tube	Bobbin - Reuter Stainless Steel	Without Wire 1.14-1.27mm, 	$20.00

w/wire 1mm

Med

Medtronic Australasia Pty Ltd

MC271	Medtronic Vent Tubes	Stainless Steel	1.02 - 1.27mm, 1.58 - 2.7mm	$20.00

2.1.7.5 Ventilation Tube/Grommet, Titanium Alloy, Medium Term

Olympus Australia

OL056	Ventilation Tube	Collar Button Titanium	1.14mm	$20.00

OL057	Ventilation Tube	Collar Button Titanium	1.27mm	$20.00

Med

BR & CT Enterprises Pty Ltd

BC015	Ventilation Tubes - Shepherd	Titanium, w/o wire	1.00mm, 1.25mm lumen	$20.00

BC016	Ventilation Tubes - Shepherd	Titanium with wire	1.00mm, 1.25mm lumen	$20.00

Medtronic Australasia Pty Ltd

MC272	Medtronic Vent Tubes	Titanium	1.02 - 1.52mm x 0.9 - 4.45mm	$20.00

2.1.7.6 Ventilation Tube/Grommet, Titanium Alloy, Long Term

Med

BR & CT Enterprises Pty Ltd

BC012	Ventilation Tubes - Collar Button	Teflon w/wire, and titanium w/o wire	0.76mm, 1.00mm, 1.25mm, 	$20.00

1.50mm lumen

BC013	Ventilation Tubes - Collar Button	Titanium w wire	1.00mm, 1.25mm, 1.50mm 	$20.00

2.1.7.7 Ventilation Tube/Grommet, Plastic, Short Term

Ab, Sm

Medtronic Australasia Pty Ltd

MC269	Medtronic Vent Tubes	Activent Antimicrobial Ventilation Tube	1.02 - 1.27mm x 0.9 - 2.4mm	$20.00	$22.00

Prostheses List by Category, Groups and Sponsor	Page 56 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Med

Endocorp Pty Ltd

EC019	Exmoor Plastics Ear Vent Drains -  	Teflon 	1.14 mm lumen dia x 2.24 mm 	$20.00

Collar Button	inner flange dia x 2.24 mm outer

flange dia x 1.27 inter flange.

1.78 mm total length

EC020	Exmoor Plastics Ear Vent Drains  -  	Teflon 	1.14 mm lumen dia x 3.0 mm 	$20.00

Collar Button	inner flange dia x 3.0 mm outer

flange dia x 1.27 inter flange.

1.78 mm total length

EC021	Exmoor Plastics Ear Vent Drains  -  	Teflon 	1.4 mm lumen dia x 2.55 mm 	$20.00

Collar Button	inner flange dia x 2.55 mm outer

flange dia x 0.85 inter flange.

1.35 mm total length

EC022	Exmoor Plastics Ear Vent Drains - 	Teflon 	1.75 mm lumen dia x 2.85 mm 	$20.00

Collar Button 	inner flange dia x 2.85 mm outer

flange dia x 0.95 inter flange.

1.46 mm total length

EC024	Exmoor Plastics Ear Vent Drains - 	Teflon Shephards Drain	1.14 mm lumen dia x 2.36 mm 	$20.00

Shepards Drain	inner flange dia x 2.36 mm outer

flange dia x 1.42 inter flange.

2.41 mm total length

Sm

Endocorp Pty Ltd

EC026	Exmoor Plastics Ear Vent Drains - 	Teflon Shephards Drain with wire	0.97 mm lumen dia x 2.08 mm 	$20.00

Teflon Shephards Drain with wire 	inner flange dia x 2.08 mm outer

flange dia x 1.42 inter flange.

2.41 mm total length

Medtronic Australasia Pty Ltd

MC268	Medtronic Vent Tubes	Fluoroplastic	0.76 - 1.52mm x 2.1 - 9.5mm x 	$20.00

1.0 - 12.0mm

2.1.7.8 Ventilation Tube/Grommet, Plastic, Medium Term

LMA PacMed Pty Ltd

PM065	Tympo Vent	Otological ventilation tubes, short medium	Length 2.2	$20.00

term, Donaldson fluoroplastic/blue

PM066	Tympo Vent	Otological ventilation tubes, straight tube	Length 7.0 - 7.2mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 57 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PM088	Tympo Vent	Otological ventilation tubes, donaldson, 	Length 1.5mm - 9.8mm	$20.00

reuter bobbin, shepard

PM089	Tympo Vent	Otological ventilation tubes, short medium	Length 1.8	$20.00

term, bevel bobbin, fluoroplastic/blue

PM091	Tympo Vent	Otological ventilation tubes, short medium	Length 2.0	$20.00

term, collar button, fluoroplastic/blue

Olympus Australia

OL028	Ventilation Tube	Shepard, fluoroplastic, w/Tab & wire	1.02 -1.14mm	$20.00

OL039	Ventilation Tube	Armstrong Beveled Plain End 	One size only	$20.00

OL040	Ventilation Tube	Armstrong Beveled Plain End Silcon	One size only	$20.00

OL048	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27mm	$20.00

OL049	Ventilation Tube	Collar Bobbin Fluoroplastic 	0.75mm	$20.00

OL050	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.14mm	$20.00

OL051	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27x0.5mm	$20.00

OL053	Ventilation Tube	Collar Button Fluoroplastic Blue	1.27mm	$20.00

OL054	Ventilation Tube	Collar Button Fluoroplastic w/Wire	1.27mm	$20.00

OL070	Ventilation Tube	Straight Fluoroplastic or Polyethylene 	0.89 x 12mm, 0.86 x 7mm, 1.14	$20.00

x 12mm, 1.14 x 7mm

Ab

Olympus Australia

OL029	Ventilation Tube	Shepard, Ultrasil Silicon & Blue Poly	1.02 - 1.14mm	$20.00

Ab, Med

Medtronic Australasia Pty Ltd

MC273	Medtronic Vent Tubes	Fluoroplastic	1.02 - 1.27mm x 1.3 - 3.0mm	$20.00	$22.00

Med

Endocorp Pty Ltd

EC018	Exmoor Plastics Ear Vent Drains -  	Without hole, teflon	1.14 mm lumen dia x 2.54 mm 	$20.00

Reuter Bobbin 	inner flange dia x 2.54 mm outer

flange dia x 0.76 inter flange.

1.52mm total length

Medtronic Australasia Pty Ltd

MC925	Vent Tube	Fluoroplastic	1.02 - 1.27mm x 1.0 - 3.5mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 58 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sm

BR & CT Enterprises Pty Ltd

BC014	Ventilation Tubes - Shepherd	Teflon, w or w/o wire	1.15mm lumen	$20.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG015	Micromedics Ventilation Tubes	Micromedics; Collar Button; 	$20.00

1.27mm lumen; fluroplastic; box

of 6 / box of 50

MG016	Micromedics Ventilation Tubes	Micromedics;Reuter 	$20.00

Bobbin;1.0mm / 1.14mm lumen;

fluroplastic; box of 6 / box of 50

MG017	Micromedics Ventilation Tubes	Micromedics; Shah with wire; 	$20.00

mini 0.76mm lumen;

fluroplastic;  box of 6 / box of 50

2.1.7.9 Ventilation Tube/Grommet, Plastic, Long Term

Olympus Australia

OL037	Ventilation Tube	Shah. Teflon, Fluorplastic w/Wire	1.14mm	$20.00

OL038	Ventilation Tube	Shah. Teflon, Fluorplastic without Wire	1.14mm	$20.00

OL043	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F 	1mm	$20.00

Without Holes

OL044	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F 	1.14mm	$20.00

Without Holes

OL045	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F 	1.14mm	$20.00

OL046	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F	1.14mm	$20.00

OL047	Ventilation Tube	Bobbin - Reuter Fluoroplastic 0.5mm I.F	1.27mm	$20.00

Ab, Med

Medtronic Australasia Pty Ltd

MC926	Medtronic Vent Tube	Activent Antimicrobial Ventilation Tube	1.14 - 1.27mm x 0.9 - 3.0mm	$20.00	$22.00

Med

Medtronic Australasia Pty Ltd

MC277	Medtronic Vent Tubes	Fluoroplastic, C-Flex	0.89 - 1.52mm x 2.3 - 12.0mm	$20.00

Prostheses List by Category, Groups and Sponsor	Page 59 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.2.1 Nasal Prosthesis, Septal Button

Olympus Australia

OL026	Septal Button	Plastipore	One size only	$149.00

SI

Medtronic Australasia Pty Ltd

MC264	Septal Button 	Silicone	3cm 	$149.00

2.3.1 Tracheal Speaking Valve

LMA PacMed Pty Ltd

PM057	Provox Voice Prosthesis	Long term indwelling; Silicone	4.5,6,8,10,12.5mm	$102.00	$331.00	Only able to be claimed once for

the initial implant

PM117	Passy-Muir Speaking Valve	Tracheostomy and Ventilator	15mm I.D./ 22 & 23mm O.D.	$102.00

2.3.3 Vocal Chord Medialisation Implant

Olympus Australia

OL071	Vocal Cord Medialisation Implant	Vocom Larynx Medial Implant - 	3 - 7mm Head	$345.00

Hydroxylapatite

OL072	Vocal Cord Medialisation Implant	Vocom Shim for Medial Implant - 	1mm - 3mm Offset	$345.00

Hydroxylapatite

2.3.5 Tracheal Reconstruction and Thyroplasty Prostheses

2.3.5.1 Tracheal Reconstruction and Thyroplasty Prostheses, Thyroplasty Graft, ePTFE

Medtronic Australasia Pty Ltd

MC255	Medtronic Xomed Australia Material 	ePTFE - expanded polytetrafluroethyelene	0.75cm x 40cm x 0.6mm; 	$1,110.00

Implantable Sterile - Gore Thyroplasty	0.4cm x 20cm x 0.6mm; 0.6cm

x 20cm x 0.6mm

Prostheses List by Category, Groups and Sponsor	Page 60 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2.3.5.2 Tracheal Reconstruction and Thyroplasty Prostheses, Thyroplasty Graft, Silicone

Endotherapeutics Pty Ltd

ET040	Vox Implants	Vox Implants are solid, irregularly 	One size only	$8,200.00

textured, medical grade

Polydimethylsiloxane Elastomer implants

suspended in a hydrogel carrier

LMA PacMed Pty Ltd

PM033	Montgomery Thyroplasty Implant System	Silicone	6,7,8,9,10,11,12	$1,172.00

PM102	Tracheal Cannula System	Short and long term Cannula (Medical 	Diameter 9-13mm; Length 37m 	$298.00

Grade Silicone)	& 101mm

PM103	Tracheal Cannula System	Cannula Speaking Valves (Medical Grade 	4-10	$125.00	Only able to be claimed once for

Plastic)	the intial implant

PM104	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-	Paediatric/Standard - 	$471.00

Long, Tapered and Hebeler in clear and 	Clear/Radioplaque

PM106	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-	ID 8/10, 10/13, 12, 15, 18mm; 	$471.00	$549.00

Long, Tapered, Hebeler and HMS, in 	Length 76, 77, 79, 159, 163mm

clear and radiopaque

PM107	Laryngeal Keel	12-16mm Keel	$275.00

PM115	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-	ID 7, 9, 11mm; Length 100, 	$769.00

Long, Tapered, Hebeler and HMS

Medical Vision Australia Pty Ltd

MF001	Endoxane	Silicone tracheal and bronchial stents - 	10 - 20mm diameter, 20 - 60mm	$1,000.00

Dumon	 length

MF002	Tracheobronxane Silmet	Nitinol wire - tracheal and bronchial 	12 - 20mm diameter, 20 - 90mm	$2,500.00

stenets - Dumon	 length

Medtronic Australasia Pty Ltd

MC265	Silicone Blocks 	Netterville Phonoform Block - Right, 	Right - One size only, Left - One	$275.00

Left, Wedge & Strip	 size only, Wedge - One size

only & Strip - One size only

Prostheses List by Category, Groups and Sponsor	Page 61 of 865

EAR, NOSE & THROAT

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Cement

Endotherapeutics Pty Ltd

ET031	Serenocem Cement	Reaction bonded polymer composite 	One size only - box of 2	$1,560.00

formed by the neutralisation gelletation of

a basic inorganic ionomer

ET032	Serenocem Granules	Reaction bonded polymer composite 	0.5 - 1mm granules, 1gm or 	$1,070.00

formed by the neutralisation gelletation of 	5gm; 2 - 3mm granules, 1gm or

a basic inorganic ionomer	5gm - 3 pouches

Prostheses List by Category, Groups and Sponsor	Page 62 of 865

ENDOSCOPIC PRODUCTS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Anchor, Fixation

William A Cook Australia Pty Ltd

WC014	Cope Gastrointestinal Suture Anchor Set	Standard, pediatric	$125.00

(GIAS)

Prostheses List by Category, Groups and Sponsor	Page 63 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.1.1 Brachytherapy, Hepatic, Yttrium 90, Standard dose

Sirtex Medical Products

SE001	SIR-Spheres including Delivery 	Biocompatible microspheres 20-60mm 	One size only	$8,230.00	Temporary listing pending review

(microns) in diameter containing yttrium-

90. Delivery apparatus is PVC tubing,

ABS stopcocks, acrylic holders and

stainless steel needles with PE hubs

3.1.2 Brachytherapy, Prostatic I-125

3.1.2.1 Standard Dose

CMS Alphatech Pty Ltd

CL001	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed 	Advantage I-125 seeds are  0.8 	$6,500.00

radioactive sources containing Iodine-	mm in diameter and 4.5 mm in

125. They are intended to interstitial

brachytherapy.

Advantage I-125 Pre-load consists of

Advantage I-125 seeds pre-loaded as

linked or 'stra

CL002	Advantage I-125 Seed	Advantage I-125 per patient up to 120 	3mm x 0.5mm silver rod within 	$6,500.00

4.5 x 0.8mm sealed titanium

Global Medical Solutions Australia Pty Ltd

GL007	Advantage I-125 Pre-load	Advantage I-125 seeds are sealed 	Advantage I-125 seeds are  0.8 	$6,500.00

radioactive sources containing Iodine-	mm in diameter and 4.5 mm in

125. They are intended to interstitial

brachytherapy.

Advantage I-125 Pre-load consists of

Advantage I-125 seeds pre-loaded as

linked or 'stranded' seeds(similar to

RAPID Strand RX ) on prescription into

brachytherapy needles specifically for

treatment of an individual patient. They

arrive sterile and pre-packaged ready for

use in theatre.

Prostheses List by Category, Groups and Sponsor	Page 64 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Oncura Pty Limited

ON001	Iodine 125 - 'Rapid Strand' 	Rapid Strand consists of 10 welded 	One size each	$6,500.00	Only to be funded where used in

Brachytherapy Implant, Iodine 125 - 	titanium capsules containing iodine-125 	a service for which a Medicare

'OncoSeeds' Brachytherapy Implant	absorbed onto a silver rod.  OncoSeeds 	Benefit is payable (current MBS

consists of the loose seeds only. Per 	items are 37220, 15338)

ON003	RAPID Strand Rx Kit	Pre-loaded, variable per patient 	Custom size up to 100 seeds	$6,800.00	$7,150.00

prescription version of RAPID Strand

3.1.2.2 Single seed or partial dose

CMS Alphatech Pty Ltd

CL003	Advantage I-125 Seed	Advantage I-125 per seed	3mm x 0.5mm silver rod within 	$65.00

4.5 x 0.8mm sealed titanium

Nucletron Pty Limited

NU001	selectSeed	Nucletron selectSeed Model # 130002 	One size only	$82.00	Only to be funded where used in

consists of cylindrical silver rod, coated 	a service for which a Medicare

with radioactive Iodine-125 layer. Active 	Benefit is payable (current MBS

silver rod is encapsulated in hollow 	items are 37220, 15338)

titanium tube. Laser welding, using

sperical shaped end welds, seals the tube.

Oncura Pty Limited

ON002	Iodine 125 - Rapid Strand 	I-125 Rapid Strand, code IMC 7000, 	One size only	$65.00	Only to be funded where used in

Brachytherapy Implant; OncoSeeds 	consists of 10 welded titanium capsules 	a service for which a Medicare

containing iodine 125. This assembly is 	Benefit is payable (current MBS

sterile, the acitivity of the capsules 	items are 37220, 15338)

"seeds" is available from 0.18mCi to

0.70mCi.  Individual I-125 capsules

ON004	RAPID Strand Rx Seeds	I-125 RAPID Strand Rx, pre-loaded 	Custom	$65.00	$71.50

titanium capsules containing iodine 125.

To be used only if more than 100 seeds

are used per patient.  Benefit is per seed.

Prostheses List by Category, Groups and Sponsor	Page 65 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.1 Infusion Ports and Injection Ports

3.2.1.1 Infusion Port, single lumen

Allergan Australia Pty Limited

AW003	Rapid Port Tack	Implantable acetal copolymer disk 	Outside diameter for the tack 	$170.00

assembly, rotor assembly with three 	30.5mm diameter by 5.6mm

stainless steel fasteners.  The fasteners, 	Height.  The wires extend 3mm

when deployed by rotating the rotor, 	below the bottom surface.

extend about 3mm below the

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS052	Chemosite Implantable Venous Access 	Port - Single Lumen (ChemoSite*)	7-9 french; 10.5 french.	$485.00	$600.00	* Trademark of United States

System	Surgical Corporation

B Braun Australia Pty Ltd

BB082	Celsite Epoxy Single Access Port	Epoxy/titanium	Standard/small/baby	$485.00

BB084	Celsite Single Access Port	MBS/PSU	Standard/small	$485.00

BB086	Celsite Epoxy Peritoneal Port	Epoxy/titanium	32x27x13mm	$485.00	$560.00

Bard Australia Pty Ltd

BA163	X Port isp	Intermediate-sized MRI port with open-	Port: Base 22.6 x 28.2mm.  	$485.00	$640.00

ended pre-attached or attachable Hickman	Height: 11.7mm.  Weight: 5.2g.

single lumen catheter	Catheter: 9.6Fr

BA164	X Port isp	Intermediate-sized MRI port with open-	Port: Base 22.6 x 28.2mm.  	$485.00	$640.00

ended pre-attached or attachable 	Height: 11.7mm.  Weight: 5.2g.

Chronoflex single lumen catheter	Catheter: 6 & 8Fr

Mayo group

CM010	Low Profile Ports -  Implantable 	Arrow Model No.'s VARRX AP06036, 	Ports - H10mm, L25mm, 	$485.00

Vascular Access System	AP06040, AP06042, AP06045.  Titanium 	Weight 9grams, Internal Vol.

Low Profile Ports with self sealing 	0.3ml.  Catheter75cm

silicone septum and either attached or

detached silicone catheters.  Include

relevant sized Introducer Kit.

Smiths Medical Australasia Pty Ltd

SI001	Injection/Infusion Ports, Sterile - 	Port - single lumen	One size only	$485.00

PORT-A-CATH II Trans Arterial

Percuataneous System

SI003	Injection/Infusion Ports, Sterile - 	Port - single lumen	1.9 mm O.D. PolyFlow 	$485.00

PORT-A-CATH P.A.S Port T2 System	Polyurethane Catheter

Prostheses List by Category, Groups and Sponsor	Page 66 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SI005	Injection/Infusion Ports, Sterile - 	Port - single lumen	One size only	$485.00

PORT-A-CATH Peritoneal System

SI007	Injection/Infusion Ports, Sterile - 	Port - single lumen	2.3 mm silicone catheter	$485.00

PORT-A-CATH Arterial Titanium System

SI008	Injection/Infusion Ports, Sterile - 	Port - single lumen	2.8 mm silicone catheter & 9 	$485.00

PORT-A-CATH Titanium Venous Portal	French introducer set

SI010	Injection/Infusion Ports, Sterile - 	Port - single lumen	1.9mm polyurethane catheter	$485.00

PORT-A-CATH Implantable Access

System - Venous Portal, with introducer

SI012	Injection/Infusion Ports, Sterile - 	Port - single lumen	1.9 mm polyurethane catheter	$485.00

PORT-A-CATH Low Profile

Implantable Venous System, with

SI014	Injection/Infusion Ports, Sterile - 	Port - single lumen	2.8 mm silicone catheter	$485.00

PORT-A-CATH II Titanium Venous

System, with introducer set

SI016	Injection/Infusion Ports, Sterile - 	Port - single lumen	1.9 mm polyurethane catheter	$485.00

PORT-A-CATH II Titanium Venous

System with introducer set

SI017	Injection/Infusion Ports, Sterile - 	Port - single lumen	2.6 mm polyurethane catheter	$485.00

PORT-A-CATH Titanium Venous

System with introducer set

SI019	Injection/Infusion Ports, Sterile - 	Port - single lumen	1.9 mm polyurethane catheter	$485.00

PORT-A-CATH II Low Profile Titanium

Venous System with introducer set

SI020	Injection/Infusion Ports, Sterile - 	Port - single lumen	1.2 mm O.D. polyurethane 	$485.00

PORT-A-CATH II Epidural Low Profile

SI021	Injection/Infusion Ports, Sterile - 	Port - single lumen	0.9 mm O.D. polyurethane 	$485.00

PORT-A-CATH II Intraspinal Low

3.2.1.2 Infusion Port, multiple lumen

B Braun Australia Pty Ltd

BB083	Celsite Epoxy Dual Access Port	Epoxy/titanium	Standard/small/baby	$615.00	$800.00

Bard Australia Pty Ltd

BA166	X Port duo	Intermediate-sized MRI port with open-	Port: Base 38.5 x 28.5mm, 	$615.00	$715.00

ended attachable Chronoflex dual lumen 	Height 12.6mm, Weight: 9.6g,

Catheter: 9.5Fr

Prostheses List by Category, Groups and Sponsor	Page 67 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mayo group

CM007	Vascular Ports - Implantable Vascular 	Arrow Model No.'s VARRX AP01007, 	Ports - H15.5mm x L28.6mm, 	$615.00

Access System	AP06010, AP06013, AP06014, AP06015,	Weight 9.2grams, Internal Vol.

AP06018, AP06520.  Titanium Port with	0.8ml.  Catheter 75cm

self sealing silicone septum and either

attached or detached silicone catheters.

Include relevant size Introducer Kit.

CM008	Vascular Ports - Implantable Vascular 	Arrow Model No.'s   AP6528, AP06530, 	Ports - H15.5/17.1mm x 	$1,100.00

Access System	AP06535, .  Double Titanium ports with 	L28.6mm, Weight 19.9grams,

self sealing silicone septums and either 	Internal Vol.  0.8 - 1.0ml each

attached or detached dual lumen silicone 	side.  Catheters 75cm

catheters. Include relevant sized

CM009	Low Profile Ports -  Implantable 	Arrow Model No.'s VARRX AP01040,  	Ports - H10mm, L25mm, 	$615.00

Vascular Access System	AP06046, AP06016, AP06020, AP06012,	Weight 9grams, Internal Vol.

AP06022, AP06025.  Plastic low profile 	0.3ml.  Catheter75cm

ports with self sealing silicone septum

and either attached or detached silicone

catheters. Include relevant sized

Smiths Medical Australasia Pty Ltd

SI023	Injection/Infusion Ports, Sterile - 	Port - dual lumen	3.4 mm silicone catheter	$615.00

PORT-A-CATH II Dual Lumen

Titanium Venous system and introducer

infusial port, multiple lumea.

Bard Australia Pty Ltd

BA165	X Port duo	Intermediate-sized MRI port with open-	Port: Base 38.5 x 28.5mm, 	$615.00	$715.00

ended attachable Hickman dual lumen 	Height: 12.6mm, Weight: 9.6g,

Catheter: 10Fr

3.2.2 External Infusion Pumps, Balloon Based

Ultimate Medical Pty Ltd

UM001	LA Bubble	Balloon based local anaesthetic infusion 	One size only	$185.00

system

Prostheses List by Category, Groups and Sponsor	Page 68 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2 Infusion Pump

3.2.2.2.1 External Infusion Pump, Battery powered, Insulin, Generation 1

Diabetes Australia - New South Wales

DB001	DANAIIS Insulin Pump	Continuous insulin infusion pump	75mm x 45mm x 19mm	$4,000.00

Roche Diagnostics Australia Pty Ltd

RO008	"Disetronic Insulin Infusion Pump 	H-Tron plus	Small Kit Blue or Grey	$4,000.00	$5,400.00

RO020	Accu-chek Spirit Insulin Pump	Insulin infusion pump	One size only	$4,000.00	$5,000.00

3.2.2.2.2 External Infusion Pump, Battery powered, Insulin, Generation 2

Australasian Medical & Scientific Ltd

AN005	Animas 2020 Insulin Pump.	Ambulatory Insulin Infusion Pump	7.4cm x 5cm x 1.9cm	$7,750.00

Roche Diagnostics Australia Pty Ltd

RO001	"Disetronic Insulin Infusion Pump 	D-Tron plus	Large Kit Blue or Anthracite	$6,700.00

RO002	"Disetronic Insulin Infusion Pump 	H-Tron plus	Large Kit Blue or Grey	$5,700.00

RO009	"Disetronic Insulin Infusion Pump 	D-Tron plus	Small Kit Blue or Grey	$6,400.00

3.2.2.2.3 External Infusion Pump, Battery powered, Insulin, Generation 3

Medical Specialties  Australia Pty Ltd

MS031	Medical Specialties "Deltec Cozmo 	Ambulatory Insulin Infusion Pump	Deltec Cozmo Insulin Pump - 	$8,000.00	$9,360.00

Insulin Pump"

Medtronic Australasia Pty Ltd

MC351	Medtronic MiniMed Insulin Infusion 	Paradigm Model MMT - 715	Pump Dimensions: 5.1 x 9.4 x 	$8,000.00

2.0cm

MC352	Medtronic MiniMed Insulin Infusion 	Paradigm Model MMT - 515	Pump Dimensions: 5.1 x 7.6 x 	$8,000.00

2.0cm

Prostheses List by Category, Groups and Sponsor	Page 69 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.2.5 External Infusion Pump, Battery powered, Other pharmacy, Generation 2

Allied Medical Limited

AH004	AMBIT Infusion Pump	The AMBIT PCA is an external 	55mm x 36mm x 175mm	$4,950.00

programmable electronic ambulatory

infusion pump used for the delivery of

fluid and medications via intravenous,

epidural, subcutaneous or regional routes.

It can be programmed with different

delivery profiles which include basal rate

only, basal rate with PCA (Patient

Controlled Analgesia) or PCA Bolus Only.

It is operated in conjunction with a

AMBIT disposable administration cassette

Medical Specialties  Australia Pty Ltd

MS021	Medical Specialties "Walkmed Infusion 	Ambulatory Infusion Pump System, 	Walkmed Infusion Pump 	$4,950.00

Pump System" Powered Drug Infusion 	Administration Sets and Accessories

System and Ancillary Equipment

(McKinley, USA)

Smiths Medical Australasia Pty Ltd

SI034	CADD-PRIZM VIP (Variable Infusion 	Pump	One size only	$4,950.00

Profile) Model 6100; CADD-PRIZM

PCS Ambulatory Infusion Pump, Model

SI037	CADD Legacy 1 Model 6400 	Pump	One size only	$4,950.00

Ambulatory Infusion Pump

SI038	CADD Legacy Plus Model 6500 	Pump	One size only	$4,950.00

Ambulatory Infusion Pump

SI039	CADD Legacy PCA Model 6300 	Pump	One size only	$4,950.00

Ambulatory Infusion Pump

Prostheses List by Category, Groups and Sponsor	Page 70 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.2.7 External Infusion Pump, Battery powered, Insulin, Generation 4

Diabetes Australia - New South Wales

DB002	DANAIISG Insulin Pump	The DANAIISG Insulin Pump is a small 	75 x 45 x 19 mm, 60 grams	$4,700.00

device about the size of a pager. It holds

up to 300 units of insulin, which is

delivered continuously through a small

tube to the patient. The DANAIISG

Insulin Pump also has an integrated blood

DB003	DANAR Insulin Pump	The DANAR Insulin Pump is a small 	75 x 45 x 19mm, 60grams	$5,100.00

device about the size of a pager. It holds

up to 300 units of insulin, which is

delivered continuously through a small

tube to the patient. The DANAR Insulin

Pump also has an integrated blood

glucose meter and remote control via

Medtronic Australasia Pty Ltd

MC353	Medtronic MiniMed Insulin Infusion 	Paradigm Model MMT-722. 'Smart' 	Pump dimensions: 5.1 x 9.4 x 	$8,000.00	$8,950.00

Insulin Pump with REAL-Time 	2.0cm

continuous glucose monitoring capability

MC354	Medtronic MiniMed Insulin Infusion 	Paradigm Model MMT-522. 'Smart' 	Pump Dimensions: 5.1 x 7.6 x 	$8,000.00	$8,950.00

Insulin Pump with REAL-Time 	2.0cm

continuous glucose monitoring capability

MC839	Medtronic MiniMed Insulin Infusion 	Paradigm Veo Model MMT-554. 'Smart' 	5.1 x 7.6 x 2.0cm	$8,000.00	$9,500.00

Insulin Pump with REAL-Time

continuous glucose monitoring capability,

incorporating a low glucose suspend and

MC840	Medtronic MiniMed Insulin Infusion 	Paradigm Veo Model MMT-754. 'Smart' 	5.1 x 9.4 x 2.0cm	$8,000.00	$9,500.00

Insulin Pump with REAL-Time

continuous glucose monitoring capability,

incorporating a low glucose suspend and

Prostheses List by Category, Groups and Sponsor	Page 71 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.3.1 External Infusion Pump, Spring powered, fixed flow rate

Allied Medical Limited

AH006	Dosifuser	Non electronic, elastomeric balloon 	65ml - 140mm x 45mm x 	$165.00

driven, ambulatory infusion pump, which 	40mm; 100ml - 140mm x 52mm

can be supplied in a variety of volumes 	 x 50mm; 150 - 140mm x

and flow rates to meet different clinical 	55mm x 55mm; 250ml - 140mm

applications.  Its primary purpose is for

continuous delivery of fluids/medications.

Baxter Healthcare Pty Ltd

BX246	Infusor	Sterile infusor devices, spring or 	SV Half day, 5ml/hr, 60ml vol. 	$85.00

elastomer driven	LV 10, 10ml/hr, 240ml vol. SV

Single day, 2ml/hr, 48ml vol. LV

5, 5ml/hr, 240ml vol.

BX247	Intermate	Sterile infusor devices, spring or 	SV 200 - 200ml/hr, 100ml vol. 	$85.00

elastomeric driven	SV 100 - 100ml/hr, 100ml vol.

LV 250, 250ml/hr, 275ml vol.

SV 50 - 50ml/hr, 100ml vol.  LV

100  - 100ml/hr, 275ml vol. LV

50, 50ml/hr, 275ml vol

BX248	Infusor	Sterile infusor devices, spring or 	LV 2, 2ml/hr, 275 ml vol; LV 	$85.00

elastomer driven	1.5, 1.5ml/hr, 275ml vol; SV

Multi day, 0.5ml/hr. 60ml vol;

SV Seven day, 0.5ml/hr, 96ml

Orthotech Pty Ltd

OH122	PC2000 Pain Control Infusion Pump 	Plastic spring loaded drug delivery device	0.5ml - 4ml	$85.00	$130.00

Connector

Stryker Australia Pty Ltd

SK125	Stryker PainPump	Vacuum operated pump providing 	75-150mm Extra Fenestration 	$63.00

controlled infusion of a Local Anaesthetic	Infusion Catheters

directly into a surgical site for post-

operative pain management.

set

Global Manufacturing Technology Pty Ltd

GM040	Alpha Infusion Pump	Alpha Infusion Pump Kit, includes Alpha 	450ml	$260.00	$300.00

Infusion Pump, introducer needle,

syringe, hip pack, labels and instructions

for use plus Alpha Cath Infusion Catheter

Prostheses List by Category, Groups and Sponsor	Page 72 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH065	PC2000 Pain Control Infusion Pump	Plastic spring loaded drug delivery device	0.5 ml - 4 ml	$260.00	$310.00

Stryker Australia Pty Ltd

SK120	Stryker PainPump	Vacuum operated pump providing 	120ml Unit Base Infusion Kits	$260.00

controlled infusion of a Local Anaesthetic

directly into a surgical site for post-

operative pain management.

SK121	Stryker PainPump	Vacuum operated pump providing 	120ml unit 1-7 Day Infusion 	$260.00

controlled infusion of a Local Anaesthetic

directly into a surgical site for post-

operative pain management.

SK122	Stryker PainPump	Vacuum operated pump providing 	120ml unit Two Pump 2-4 Day 	$260.00

controlled infusion of a Local Anaesthetic	Infusion Kits

directly into a surgical site for post-

operative pain management.

SK123	Stryker PainPump	Vacuum operated pump providing 	270ml unit 1-7 Day Infusion 	$260.00

controlled infusion of a Local Anaesthetic

directly into a surgical site for post-

operative pain management.

SK124	Stryker PainPump	Vacuum operated pump providing 	270ml unit Base Infusion Kits	$260.00

controlled infusion of a Local Anaesthetic

directly into a surgical site for post-

operative pain management.

Surgical Specialties

SQ030	PainBuster	Kit includes catheter, introducer needle, 	270ml volume x 2 lines x 2 ml 	$260.00	$472.00

flow restrictor, filter, bolus	per hour; 270ml x 2ml, 5ml

bolus; 270ml x 1-7ml/hr

SQ031	PainBuster	Kit includes catheter, introducer needle, 	100ml volume x 2 ml per hour	$260.00

flow restrictor, filter

SQ032	PainBuster	Kit includes catheter, introducer needle, 	270ml volume x 2 ml per hour	$260.00	$315.00

flow restrictor, filter

SQ033	PainBuster	Kit includes catheter, introducer needle, 	270ml volume x 5 ml per hour	$260.00	$315.00

flow restrictor, filter

SQ034	Painbuster	Kit includes catheter, introducer needle, 	270ml x 4ml/hr, dual; 400ml x 	$260.00	$640.00

flow restrictor, filter	4ml per hour, dual

SQ035	Painbuster	Kit includes catheter, introducer needle, 	400ml	$260.00	$472.00

flow restrictor, filter, 2 - 14ml/hour

Prostheses List by Category, Groups and Sponsor	Page 73 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.3.2 External Infusion Pump, Spring powered, fixed flow rate + bolus

Baxter Healthcare Pty Ltd

BX250	Basal/Bolus and Multirate Infusors	Sterile infusor devices, spring or 	Basal/Bolus 60, Basal 0.5ml/hr, 	$150.00

elastomer driven	Bolus 0.5ml/hr x 65ml;

Basal/Bolus 15, Basal 0.5ml/hr,

Bolus 2ml/hr x 65ml;

Basal/Bolus infusor, Basal

2ml/hr, Bolus 2ml/hr x 65ml;

Multirate 5, 7 or 12 ml/hr x 300

ml; Multirate 2, 4, or 6 ml/hr x

300 ml; Multirate 2, 3, or 5

ml/hr x 300 ml; Multirate 1, 2 or

3 ml/hr x 100 ml

Orthocare Pty Limited

OC001	Pain Care 2000	Pain Care 2000 System	One size only	$235.00

OC003	Pain Care 2000L	Pain Care 2000L System	One Size Only	$235.00

OC006	Breg Paincare 3000	100ml Continuous Infusion device 	100cc reservoir	$260.00	$286.00

(delivers 2ml/hr) with additional 4ml 	L=10.4cm, D=3.0cm, W=7.4cm

bolus.  Code # 10314

OC007	Breg Paincare 3200	200ml Continuous Infusion device 	200cc reservoir	$260.00	$286.00

(delivers 4ml/hr) with additional 4ml 	L=10.4cm, D=6.5cm, W=7.4cm

bolus Code # 11030

OC008	Breg Paincare 4200	200ml Continuous Infusion device 	200cc reservoir	$260.00	$286.00

(delivers 2ml/hr) with additional 4ml 	L=10.4cm, D=6.0cm, W=7.0cm

bolus Code # 11090

3.2.2.3.3 External Infusion Pump, Spring powered, variable flow rate

Baxter Healthcare Pty Ltd

BX249	Multirate with PCM	Sterile infusor devices, spring or 	Multirate 5, 7 or 12 ml/hr with 	$300.00

elastomer driven	PCM

Prostheses List by Category, Groups and Sponsor	Page 74 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.4 Infusion Pump Accessory

Nipro Asia Pty Ltd

NQ001	Surefuser	Surefuser 50ml. Sterile infusion devices, 	Volume of 50ml at 10ml/hr, or 	$50.00

spring or elastometric driven. Various 	at 4.2ml/hr, or at 2.1ml/hr, or at

flow rates	1.0ml/hr, or at 0.7ml/hr or at

0.4ml/hr or at 0.3ml/hr

NQ002	Surefuser	Surefuser 100ml. Sterile infusion devices,	Volume of 100ml at 200ml/hr, 	$50.00

spring or elastometric driven. Various 	or at 100ml/hr, or at 20ml/hr, or

flow rates	 at 8.3ml/hr, or at 4.2ml/hr, or at

2.0ml/hr, or at 0.8ml/hr or at

0.6ml/hr

NQ003	Surefuser	Surefuser 250ml. Sterile infusion devices,	Volume of 250ml at 125ml/hr, 	$50.00

spring or elastometric driven. Various 	or at 62.5ml/hr, or at 10ml/hr,

flow rates	or at 5ml/hr, or at 3.5ml/hr, or

at 2.0ml/hr, or at 1.5ml/hr

3.2.2.4.1 Infusion Pump Accessory kit

Medtronic Australasia Pty Ltd

MC285	Medtronic MiniMed Insulin Pump 	Ambulatory Insulin Infusion Pump 	60-110cm	$18.00

Infusion Sets	System Administration Sets and

Accessories: Quick-set MMT-390,

MMT-391, MMT-392, MMT-393; Sof-

set Micro MMT-320, MMT-321; Sof-set

Ultimate MMT-315, MMT-316 (all tubing

with cannula for use with MMT-507C

and MMT-508 insulin infusion pump);

Silhouette MMT-371, MMT-372, MMT-

373, MMT-374 (Full Set of 10 complete

sets: 10 sites + 10 tubing, OR Combo Set:

10 sites + 5 tubing for use with MMT-

507C or MMT-508 insulin infusion

pump); Serters MMT-395, MMT-300,

MMT-385 (For use with MMT-511 or

MMT-507C or MMT-508 insulin infusion

pump); Polyfin MMT-106, MMT-306,

MMT-307, Polyfin QR MMT-165,

MMT-365, MMT-366 (bent needles with

wings for use with MMT-507C and

Prostheses List by Category, Groups and Sponsor	Page 75 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC286	Medtronic MiniMed Paradigm Insulin 	Ambulatory Insulin Infusion Pump 	60-110cm	$18.00

Pump Infusion Sets	System Adminstration Sets and

accessories: Quick-set MMT-396, MMT-

398, MMT-397, MMT-399; Sof-set

Micro MMT-324, MMT-325; Sof-set

Ultimate MMT-317, MMT-318 (all tubing

with cannula for use with MMT-511

insulin infusion pump), Silhouette MMT-

377, MMT-379, MMT-378, MMT-380

(Full Set of 10 complete sets: 10 sites +

10 tubing, OR Combo Set: 10 sites + 5

tubing for use with MMT-511 insulin

3.2.2.4.2 Infusion Pump Administration Cassette

Allied Medical Limited

AH005	AMBIT Infusion Pump Cassette	Single use sterile disposable 	20mm x 10mm x 15mm	$35.00

administration set for use with the

AMBIT Infusion Pump.  The cassette

contains a rotary mechanism that pumps

the infusion solution at an accurate and

controlled rate.  The cassette includes an

administration line with a solution bag

Australasian Medical & Scientific Ltd

AN002	Animas IR Insulin Infusion Cartridge	3.0ml Cartridge, sterile, indicated as 	one size only	$8.00

reservoir for insulin by the Animas

infusion pump; not intended for use with

any other infusion device.

AN006	Animas IR 1200 Insulin Infusion 	Sterile, indicated as reservoir for insulin 	Cartridge Capacity - 2.0mL or 	$8.00

Cartridge (Insulin Infusion Pump IR 	by the Animas Infusion Pump, not 	200 units

intended for use with any other infusion

Baxter Healthcare Pty Ltd

BX245	Patient Control Module	Sterile infusor devices, spring or 	Module 0.5ml dose, Module 2 	$28.00

elastomer driven	ml dose

Smiths Medical Australasia Pty Ltd

SI024	Medication Cassettes (50ml & 100ml)	Pump	50 mL	$21.00

SI025	Medication Cassettes (50ml & 100ml)	Pump	100 mL	$28.00

Prostheses List by Category, Groups and Sponsor	Page 76 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.4.3 Infusion Pump Administration Reservoir

Medical Specialties  Australia Pty Ltd

MS022	Medical Specialties "Walkmed Drug 	Ambulatory Infusion Pump System, 	Walkmed Drug Administration 	$8.00

Administration Reservoir" (McKinley, 	Administration Sets and Accessories	Reservoirs

MS039	Medical Specialties "Deltec Cozmo 	Drug Infusion Reservoir	3ml Cartridges - Box 25	$8.00

Ancillary Equipment"

Medtronic Australasia Pty Ltd

MC282	Medtronic MiniMed Insulin Infusion 	Ambulatory Insulin Infusion Pump 	One Size Only	$8.00

Pump Reservoir	System Administration Sets and

Accessories; Insulin Infusion Pump

Reservoir MMT-103A  (for use with

MC284	Medtronic MiniMed Paradigm Insulin 	Paradigm Insulin Infusion Pump 	One Size Only	$8.00

Infusion Pump Reservoir	Reservoir MMT-326A (for use with

Model MMT-511 insulin infusion pump)

MC304	Medtronic Minimed Paradigm Insulin 	Reservoir Model MMT - 332A (for use 	3.0 ml reservoir	$8.00

Infusion Pump Reservoir	with the Paradigm Model MMT - 712).

Polycarbonate

Roche Diagnostics Australia Pty Ltd

RO007	Disetronic Administration Sets	Plastic Cartridge (D-Tron plus)	3.0mL 5/box	$8.00	The price indicated is per unit

and there are 5 units per box

Smiths Medical Australasia Pty Ltd

SI036	Flexible Medication Reservoir, 250ml 	Pump	250 mL	$8.00

Model 21-6167-24

3.2.2.4.4 Infusion Pump Administration set

Australasian Medical & Scientific Ltd

AN003	Animas Insulin Infusion Sets	(INFUSION SET, COMFORT, 23", 	one size only	$8.00

HOSP 10, INFUSION SET, COMFORT

43", HOSP 10) Needle guard, soft

cannula, adhesive tape, introducer needle,

cannula housing, tubing, connector

needle, circular protective cap and

Prostheses List by Category, Groups and Sponsor	Page 77 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AN004	Animas Insulin Infusion Set	(INFUSION SET, COMFORT, 23", STD	One size only	$8.00

5/5 AND INFUSION SET, COMFORT,

43" STD 5/5) Needle guard, soft cannula,

adhesive tape, introducer needle, cannula

housing, tubing, connector needle,

circular protective cap and disconnect

Medical Specialties  Australia Pty Ltd

MS023	Medical Specialties "Walkmed Drug 	Ambulatory Infusion Pump System, 	Walkmed Drug Administration 	$7.00

Administration Sets"  (McKinley, USA)	Administration Sets and Accessories

MS040	Medical Specialties/Unomedical "Deltec 	Drug Infusion Set	Box of 20	$7.00

Cozmo Ancillary Equipment"

Roche Diagnostics Australia Pty Ltd

RO003	Disetronic Administration Sets and 	Adaptor D-Tron plus	10/box	$7.00	The price indicated is per unit

Accessories	and there are 10 units per box

RO005	Disetronic Administration Sets and 	Adaptor H-Tron  plus	Grey/Blue each	$7.00

Accessories

RO006	Disetronic Administration Sets and 	Plastic Cartridge (H-Tron)	3.15mL 25/box	$8.00	The price indicated is per unit

Accessories	and there are 25 units per box

RO012	"Disetronic Infusion Sets"	Tender I 17/60	Pack 10	$8.00	$15.00	The price indicated is per unit

and there are 10 units per box

Smiths Medical Australasia Pty Ltd

SI026	CADD Administration Set 175cm 	For use with SI036	250 mL	$7.00

TOTM tubing

SI027	CADD Administration Sets, 198cm, 	Pump	198 cm	$7.00

with Bag Spike & Add-on Anti-siphon

Valve, TOTM Plasticized Tubing, Model

No. 21-7057-24

SI028	Extention Set (30" & 60")	Pump	76 cm	$7.00

SI029	Extension Set (30" & 60")	Pump	152 cm	$7.00

SI040	Adminstration Set	Bag Spike, Integral Anti-Siphon Valve	196cm Bag Spike, Box of 12	$7.00

SI041	Administration Set	High Volume, with 0.2 Micron Filter, 	Box of 15	$7.00

Male Luer, Add On Anti Syphon Valve

SI042	Extension Set	Microbore TOTM with 0.22 Filter, M/M 	152cm	$7.00	The benefit amount/minimum

Luers, for Flolan	benefit amount is for and

individual product which comes

as a pack of six.

Prostheses List by Category, Groups and Sponsor	Page 78 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SI044	Administration Set	High Volume, TOTM- Plasticized Blue 	305cm	$7.00	The benefit amount/minimum

Striped with 1.2 Micron Filter, Male Luer,	benefit amount is for an

Add On Anti-Siphon Valve	individual product which comes

as a pack of ten.

3.2.2.4.5 Infusion Pump Accessory, other

Orthocare Pty Limited

OC002	Pain Care 2000	"Y" Accessory Kit	One size only	$80.00

OC004	Pain Care 2000L	"Y" Accessory Kit	One Size Only	$80.00

OC005	Pain Care 2000L	Multiport Catheter 54"	One Size Only	$54.00

3.2.2.5 Pharmaceutical beads

Biomet Australia Pty Ltd

BI280	Septopal Chain Septopal Beads	PMMA, Stainless Steel	30 bead chain	$575.00	$750.00

3.2.2.6.1 Central venous catheter

Mayo group

CM011	Arrow Peripherally Inserted Central 	Model No.'s VARRC PC01351.  	3Fr x 55cm	$119.00

Catheterisation Sets  	Polyurethane single lumen catheters with

stylet.

CM012	Arrow Peripherally Inserted Central 	Model No.'s VARRC PC01451, PR05041,	4Fr x 55cm	$119.00

Catheterisation Sets  	 Polyurethane single lumen catheters with

or without stylet.

CM013	Arrow Peripherally Inserted Central 	Model No.'s VARRC PC01552, PR05052,	5Fr x 55cm & 70cm	$119.00

Catheterisation Sets  	 PR07051 Polyurethane single and double

lumen catheters with or without stylet.

T

William A Cook Australia Pty Ltd

WC121	Cook Central Venous Long Term 	Cook TPN triple lumen catheter	Fr 8, length 90cm	$225.00

WC122	Cook Central Venous Long Term 	Cook TPN triple lumen catheter set	Fr 8, length 90cm	$270.00

WC195	Cook Central Venous Catheterisation 	Long Term Drug Infusion Catheter With 	Triple Lumen 12.5fr	$225.00

or Without Clamp and Cuff

Prostheses List by Category, Groups and Sponsor	Page 79 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.2.6.4.2 Dialysis catheter, peritoneal

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA001	Tenckhoff Peritoneal Dialysis Catheter	Adult 2 cuff, Adult 1 cuff, Adult 0 Cuff	42cm to 47cm length. All 	$170.00	$175.00

Peritoneal Catheters excluding

the Swan Neck Fast Flow

Catheter, have an internal

diameter of 2.67mm and an

external diameter of 4.95 mm.

KA002	Tenckhoff Peritoneal Dialysis Catheter	Paediatric 2 cuff, Paediatric 1 cuff, 	31cm to 37 cm length. All 	$170.00	$185.00

Neonatal 1 cuff	Peritoneal Catheters excluding

the Swan Neck Fast Flow

Catheter, have an internal

diameter of 2.67mm and an

external diameter of 4.95 mm.

KA003	Fast Flow Peritoneal Dialysis Catheter 	Swan Neck, 2 cuff	Int.diam: 3.2mm; ext diam 	$200.00	$255.00

5.49mm.All Peritoneal Catheters

excluding the Swan Neck Fast

Flow Catheter, have an internal

diameter of 2.67mm and an

external diameter of 4.95 mm.

KA004	Swan Neck Curl Peritoneal Dialysis 	Adult 2 cuff, left	62 cm length. All Peritoneal 	$240.00	$300.00

Catheters excluding the Swan

Neck Fast Flow Catheter, have

an internal diameter of 2.67mm

and an external diameter of 4.95

KA005	Swan Neck or Swan neck Tenckhoff 	Adult-left, Adult-right, Adult, 2 cuff-left, 	20 to 25cm external segment or 	$200.00	$235.00

Peritoneal Dialysis Catheter	Adult, 2 cuff-right	43cm length. All Peritoneal

Catheters excluding the Swan

Neck Fast Flow Catheter, have

an internal diameter of 2.67mm

and an external diameter of 4.95

KA006	Tenckhoff Peritoneal Dialysis Catheter, 	Adult, 2 cuffs	57 to 62cm length. All Peritoneal	$199.00

Catheters excluding the Swan

Neck Fast Flow Catheter, have

an internal diameter of 2.67mm

and an external diameter of 4.95

Prostheses List by Category, Groups and Sponsor	Page 80 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.3 External Infusion Pumps, Battery Powered

3.2.3.5 External Infusion Pump, Battery Powered, Other Pharmacy, Generation 2

Hospira Pty Limited

HO001	GemStar Infusion Pump	Infusion pump, general purpose	Approx. 14.0 cm H x 9.7 cm W 	$4,950.00

x 5.1cm D

3.2.3.6 External Infusion Pump, Battery Powered, Programmable flow rate and

Stryker Australia Pty Ltd

SK461	PainPump 2	Programmable or Preset pump with bolus	250ml & 400ml kits	$450.00

option and digital display providing

controlled infusion of a Local Anaesthetic

directly into a surgical site for post-

operative pain management

SR069	Painpump 2	Programmable pump with bolus option 	250ml & 400ml Dual Site kits	$450.00

and digital display providing controlled

infusion of a local anaesthetic directly into

dual surgical sites for post-operative pain

management

Reprogrammable

Stryker Australia Pty Ltd

SR068	PainPump 2 Continuous Peripheral 	Re-programmable & refillable pumps with	400ml kits	$450.00	$700.00

Nerve Block Kit & PainPump 2 	 bolus option nd digital display providing

controlled infusion of a local anaesthetic

directly innervating the surgical site for

post-operative pain management.

3.2.6 Infusion Pump Accessory

3.2.6.3 Infusion Pump Administration Reservoir

Roche Diagnostics Australia Pty Ltd

RO043	Accu-Chek Infusion Set	Plastic Cartridge (H-Tron & Spirit)	3.15mL	$8.00

Prostheses List by Category, Groups and Sponsor	Page 81 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.2.6.4 Infusion Pump Administration Set

Roche Diagnostics Australia Pty Ltd

RO021	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula / 30cm tubing	$7.00	$14.58

RO022	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula / 80cm tubing	$7.00	$14.58

RO023	Accu-Chek Infusion Set	Tenderlink 1.	17mm cannula only	$7.00	$10.20

RO024	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 30 cm tubing	$7.00	$14.58

RO025	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 60 cm tubing	$7.00	$14.58

RO026	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula / 80 cm tubing	$7.00	$14.58

RO027	Accu-Chek Infusion Set	Tenderlink 1.	13mm cannula only	$7.00	$10.20

RO028	Accu-Chek Infusion Set	FlexLink	8mm cannula / 30cm tubing	$7.00	$14.58

RO029	Accu-Chek Infusion Set	FlexLink	8mm cannula / 60cm tubing	$7.00	$14.58

RO030	Accu-Chek Infusion Set	FlexLink	8 mm cannula / 80 cm tubing	$7.00	$14.58

RO031	Accu-Chek Infusion Set	FlexLink	8 mm cannula only	$7.00	$10.20

RO032	Accu-Chek Infusion Set	FlexLink	10 mm cannula / 30 cm tubing	$7.00	$14.58

RO033	Accu-Chek Infusion Set	FlexLink	10mm cannula / 60cm tubing	$7.00	$10.20

RO034	Accu-Chek Infusion Set	FlexLink	10mm cannula / 80cm tubing	$7.00	$14.58

RO035	Accu-Chek Infusion Set	FlexLink	10 mm cannula only	$7.00	$10.20

RO036	Accu-Chek Infusion Set	Rapid-Dlink	6 mm cannula (with 10cm tail)	$7.00	$25.52

RO037	Accu-Chek Infusion Set	Rapid-Dlink	8 mm cannula (with 10 cm tail)	$7.00	$25.52

RO038	Accu-Chek Infusion Set	Rapid-Dlink	10 mm cannula (with 10 cm tail)	$7.00	$25.52

RO039	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 20 cms	$4.00	$4.37

RO040	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 50 cms	$4.00	$4.37

RO041	Accu-Chek Infusion Set	Rapid-Dlink	Transfer sets 70 cms	$4.00	$4.37

RO042	Accu-Chek Infusion Set	Protective Blue Cap	Cap	$1.00

Prostheses List by Category, Groups and Sponsor	Page 82 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.3.1 Enteral feeding tube (general)

3.3.1.1 Enteral feeding tube, initial

Promedica Pty Ltd

PO003	Corflo Max 20fg PEG Kit Complete 	Sterile enteral feeding tube with  	20fg	$178.00

with 7fg Snare - "Pull Type"

PO004	Corflo Max 20fg PEG Kit "Pull Type"	Sterile enteral feeding tube with  	20fg	$178.00

3.3.2 Gastrostomy tube

3.3.2.1 Gastrostomy tube, initial

Abbott Australasia Pty Ltd

AY002	Flexiflo inverta PEG kit Basic, Flexiflo 	Composition - biocompatible silicone 	20F	$205.00

inverta PEG kit with snare	tube.  Items included in kit/product -

Sliding retention disc, Insertion wire,

Gastrostomy tube with attached Dilator

Catheter, seldinger needle 14g, magna

port connector, scalpel, Snare (in kit with

Bard Australia Pty Ltd

BA046	The Bard Button Implantable Injection, 	Silicone Replacement Gastrostomy 	18 - 24 French 	$205.00	$293.00

Infusion Port

BA047	Gastrostomy Tube	Silicone Tubes and Replacement Tubes	12 - 24 French	$205.00

BA075	Gauderer Ponsky 20Fr PEG Kits and 	Genie PEG/Button System and 	20Fr	$205.00	$365.00

replacement tubes

Boston Scientific Australia Pty Ltd

BS141	EndoVive Initial Feeding Tube	Silicone enteral feeding tube	Up to 24 Fr	$205.00

Device Technologies Australia Pty Ltd

DE296	Pull PEG System	Initial placement percutaneous 	20Fr; 60cm	$205.00	$365.00

endoscopic gastrostomy kit

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA015	Entristar Skin Level Gastrostomy Kits	Skin level non-balloon internal retention 	16fg x 1.5cm, 16fg x 1.7cm, 	$205.00	$235.00	Temporary approval, pending

bolster gastrostomy kit, including 	16fg x 2.0cm, 16fg x 2.7cm, 	review of product group

Entristar gastrostomy tube, accessory 	16fg x 3.0cm, 16fg x 3.5cm,

bolus and continuous feeding tubes, 	20fg x 1.5cm, 20fg x 2.ocm,

syringes for inflation and flushin. Patient 	20fg x 2.5cm, 20fg x 3.0cm,

20fg x 3.5cm, 20fg x 4.0cm,

Prostheses List by Category, Groups and Sponsor	Page 83 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

KA017	NutriPort Balloon Skin Level 	Skin level silicone balloon gastrostomy 	12fg x 0.8 - 5.0cm, 14fg x 0.8 -	$205.00	Temporary approval, pending

Gastrostomy Kit	kit, including NutriPort gastronomy tube, 	 5.0cm, 16fg x 0.8 - 5.0cm	review of product group

accessory bolus and continuous feeding

tubes, syringes for inflation and flushing,

Patient handbook

Kimberly-Clark Australia Pty Limited

KI001	Kimberly-Clark Aust Pty Ltd Enteral 	68914 MIC Gastrostomy Tubes Model 	MIC* Percutaneous Endoscopic	$205.00

Feeding Kit	100 Series	 Gastrostomy (P.E.G) Feeding

Tubes/Kits 14, 20, 24 French

#0630 Series PUSH (OTW)

Method & #0640Series PULL

Method

KI002	Kimberly-Clark Aust Pty Ltd Enteral 	68914 MIC Gastrostomy Tubes Model 	MIC* Percutaneous Endoscopic	$205.00

feeding kit, Mic* Percutaneous 	100 Series	 Gastrostomy (P.E. G) Feeding

Endoscopic Gastrostomy (P.E.G) 	BASIC Tubes/Kits 14, 20, 24

French#0644 Series PULL

KI004	Kimberly-Clark Aust Pty Ltd Enteral 	68914 MIC Gastrostomy Tubes Model 	MIC-KEY* Low Profile 	$205.00

feeding kit, MIC-KEY Low Profile 	100 Series	Gastrostomy Feeding Tubes/Kits

Gastrostomy Feeding Tubes/Kits	 14 - 24 French, 0.8 cm - 4.5

Promedica Pty Ltd

PO001	Corflo Cubby LPGD Kit	Low profile gastronomy device	12 - 24fg x 1.0 - 4.5cm	$205.00

Sherwood Davis & Geck

SG001	Gastrostomy Tube	EntriStar Single Pass PEG	16fg, 20fg	$205.00

William A Cook Australia Pty Ltd

WC072	Passport Low Profile Device	Enteral/Gastrostomy	FEEDING TUBE French Sizes: 	$205.00

20.0, 24.0 Length:

1.2,1.7,2.4,3.4,4.4 cm

WC185	Percutaneous Endoscopic Gastrostomy 	PEG Enteral Feeding Kit - Push or Pull 	18, 20, 24 FR	$205.00

(PEG) System	System

WC199	Cook Gastronomy Tubes	Russell Gastronomy Set	14fr, 17cm	$205.00

3.3.2.2 Gastrostomy tube, subsequent

Abbott Australasia Pty Ltd

AY005	Flexiflo balloon gastrostomy tube	Composition - biocompatible silicone.  	16 french, 18 french, 20 french	$90.00

Items included in kit/product - sliding

retention disc and opened edged feeding

Prostheses List by Category, Groups and Sponsor	Page 84 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Boston Scientific Australia Pty Ltd

BS142	EndoVive Replacement Feeding Tube	Silicone enteral feeding tube	Up to 28 Fr	$90.00

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA016	Kangaroo Gastrostomy Feeding Tubes	100% silicone gastrostomy with internal 	12fg, 14fg, 16fg, 18fg, 20fg, 	$90.00

retention balloon	22fg, 24fg

Kimberly-Clark Australia Pty Limited

KI003	Kimberly-Clark Aust Pty Ltd Enteral 	68914 MIC Gastrostomy Tubes Model 	Feeding Adaptors (Universal or 	$90.00

feeding kit, Mic* Percutaneous 	100 Series	Bolus) for use with 14, 20 &24

Endoscopic Gastrostomy (P.E.G) 	F MIC* PEG's#0135 &#0136

KI005	Kimberly-Clark Aust Pty Ltd Enteral 	68914 MIC Gastrostomy Tubes Model 	SECUR-LOK* Extension Sets &	$90.00	$120.00

feeding kit, MIC-KEY Low Profile 	100 Series	 Bolus Feeding Sets 30.5 cm &

Gastrostomy Feeding Tubes/Kits	60.9 cm

KI007	MIC* Gastrostomy Feeding Tube; 	Medical Grade Silicone Construction. 	12fr - 3-5ml balloon, 14fr - 3-	$90.00	$110.00

MIC* Bolus Gastrostomy Tube	Silicone Internal Inflatable Retention 	5ml balloon, 16fr - 3-5ml

Balloon, SECU-LOK* External Retention 	balloon, 18fr - 7-10ml balloon,

Ring, Universal Feeding Port Connector, 	20fr - 7-10ml balloon, 22fr - 7-

Medication Port, Dual Exit Ports, Tapered	10ml balloon, 24fr - 7-10ml

Distal Tip, Radiopaque Strip, Sterile.	balloon, 26fr - 7-10ml balloon,

28fr - 7-10ml balloon, 30fr - 7-

10ml balloon,

Nutricia Australia

NF001	Flocare Gastrostomy tube (G-tube)	The Flocare Gastrostomy tube can be 	Ch10, 14, 18, 20	$90.00

used as a replacement of an existing

gastrostomy tube (PEG or G-tube) or as

an initial gastrostomy tube during a

surgical intervention. This balloon tube is

made of medical grade silicone.

Promedica Pty Ltd

PO002	Corflo Gastronomy Replacement Device	Dual and triple gastronomy tubes	Dual 12 - 24fg 5 - 20cc balloon;	$90.00

Triple 16 - 24fg 20cc balloon

William A Cook Australia Pty Ltd

WC070	Gastrostomy Tube	PEG Balloon Replacement Tube - Single	18, 24fr	$90.00

Prostheses List by Category, Groups and Sponsor	Page 85 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.3.3 Jejunostomy tube

3.3.3.1 Jejunostomy tube

Kimberly-Clark Australia Pty Limited

KI006	Kimberly-Clark MIC* Transgastric-	Medical Grade Silicone Construction, 	16-22 French - 45cm jejunal 	$500.00	$720.00

Jejunal Feeding Tubes (Surgical 	Silicone Internal Retention Balloon, 	length - 7-10ml balloon

SECUR-LOK* External Retention ring,

Universal Jejunal Feeding Port Connector,

Gastric Decompression Port, Multiple

Gastric & Jejunal Exit Ports, Tungsten

Weighted Jejunal Portion, Tapered Distal

Tip, Radiopaque Stripe, Sterile

KI008	MIC-KEY Low Profile Transgastric-	100% medical grade silicone tube. 40/60 	16, 18 and 22Fr, 1.0 to 3.5cm 	$170.00	$520.00

Jejunal Feeding Tube	tungsten weighted jejunal post pyloric 	stomal length, 15 to 45cm

feeding tube. Gastric drainage ports, 	jejunal length

jejunal feeding ports

KI009	MIC Transgastric-Jejunal Feeding Tube	100% medical grade silicone tube. 40/60 	16, 18, 22Fr, 15 to 45cm jejunal	$500.00

tungsten weighted jejunal post pyloric 	 length, 7-10ml balloon volume

feeding tube. Gastric drainage ports,

jejunal feeding ports

William A Cook Australia Pty Ltd

WC098	Cook Jejeunostomy Catheters	Composition - Catheter Radiopaque 	12fr, length 66cm	$170.00

Stripe, includes Wireguide, Airplug,

WC099	Cook Jejunostomy Catheters	Composition - Catheter Radiopaque 	9fr, Length 24cm	$170.00

Stripe, includes Wireguide, Airplug,

WC198	Cook Jejunostomy Catheters	Heidelberg Jejunostomy Catheter	12fr, 60cm	$170.00

3.3.4 Cecostomy Catheter

William A Cook Australia Pty Ltd

WC197	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Catheter	10fr, Standard or Extra Long	$355.00

Prostheses List by Category, Groups and Sponsor	Page 86 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

kit

William A Cook Australia Pty Ltd

WC196	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Set 	10fr, Set	$480.00	$630.00

consisting of: Suture Anchor Set,

Drainage Catheter, Wireguide, Cecostomy

Catheter Set, Adapter, Connecting Tube

3.4.1 Adjustable gastric band with port

Allergan Australia Pty Limited

AW001	Lap-Band Adjustable Gastric Banding 	-	AP-small and AP-large	$3,300.00

(LAGB) System

Alliance Surgical

AA009	Bioring Gastric Band	Adjustable gastric banding kit	Small and large	$3,300.00

Endotherapeutics Pty Ltd

ET042	Soft Gastric Banding System	Sterile long term implant for the treatment	One size only	$3,300.00	$3,400.00

of obesity.  Supplied in kit format with

catheter, port and huber needles

ET056	Soft Basket Band. INFUSION PORT.	TITANIUM PORT	9.8CMS/13.3CMS	$300.00	$400.00

ET058	Soft Basket Band	Adjustable Gastric Band Implant	115 MM CUFF	$3,000.00	$3,500.00

Johnson & Johnson Medical Pty Ltd

JJ412	Swedish Adjustable Gastric Band	Silicone	One size only	$3,300.00

Lifehealthcare Pty Ltd

LH003	Adjustable Peri Gastric Belt-Midband	Silicon moulded peri gastric band and 	Peri gastric band - 2.2 x 17.5 x 	$3,264.00

implantable chamber	0.8cm, Implantable chamber -

one size only

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG002	Heliogast Adjustable Gastric Band	Silicone and Titanium	HAGE (evolution), small band - 	$3,264.00

inner diameter 26mm; HAGA

(advanced), large band - inner

diameter 28mm

Prostheses List by Category, Groups and Sponsor	Page 87 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.4.2 Gastric band Injection Port (replacement)

Allergan Australia Pty Limited

AW002	Lap-Band Access Port	For use with the Lap-Band Adjustable 	Standard, low profile	$620.00

Gastric Banding System

Alliance Surgical

AA008	Bioring Gastric Band Replacement Port	Bioring gastric band access port with 	Diameter 34mm; height 10.4mm	$620.00

catheter and connector

Johnson & Johnson Medical Pty Ltd

JJ444	Swedish Adjustable Gastric Band - 	Implantable infusion port & locking 	One size only	$620.00

Injection Port & Locking Connector	connector for the Swedish Adjustable

Gastric Band.  Replacement port &

locking connector for use with the

Swedish Adjustable Gastric Band

Lifehealthcare Pty Ltd

LH413	Miband Access Port (replacement)	A device, metallic or non- metallic, 	Port Size - 10.6mm High, 	$620.00

implanted in a patient for a short or long-	24.7mm Base width- One Size

term delivery of fluid or medications to

the vascular system  or other anatomical

region. The device consists of a housing,

self-sealing septum and a catheter

connection mechanism. The device may

be implanted in a variety of anatomical

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG018	HAGA Acess Port	Access Port contains Titanium and 	Standard	$618.00

3.5.1 Resorbable

Johnson & Johnson Medical Pty Ltd

JJ432	SURGICEL Nu knit Absorbable 	High density , oxidised regenerated 	2.5 x 8.75cm	$15.00	$30.00

cellulose, the material is biocompatible

and also bactericidal.

Prostheses List by Category, Groups and Sponsor	Page 88 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.5.2 Haemostatic occluder pin

Design for Vision Pty Ltd

DV024	Haemorrhage Occluder Pin with 	Designed to control severe presacral 	Two sizes: 10mm and 14mm	$430.00

bleeding during pelvic surgery.

3.5.3 Haemostatic powder

Johnson & Johnson Medical Pty Ltd

JJ636	Spongostan Absorbable Haemostatic 	1 g Porcine Absorbable Haemostatic 	1 gram	$47.00	$50.00

Gelatin Powder	Gelatin Powder

Lifehealthcare Pty Ltd

LH408	Geli Putty(Powder, 1g)	Geli Putty is a single- use, water 	1 gram	$47.00

insoluble, fully bioabsorbable gelatin

powder comprising milled sponges(

Gelita-Spon) made from 100%

pharmacuetical grade porcine gelatin

mixed with sterile liquid (e.g. saline or

Tag Medical

TM047	PerClot Standard	PerClot Polysaccharide Hemostatic 	1 gram	$47.00	$120.00

TM048	PerClot Standard	PerClot Polysaccharide Hemostatic 	3 gram	$141.00	$228.00

3.5.4 Haemostatic sponge

Lifehealthcare Pty Ltd

LH405	Gelita-Spon Absorbable Gelatin Sponge-	Gelita- Spon IR is a sterile, single-use, 	GS-322-Gelita-Spon IR Sponge;	$10.00	$45.00

Gelita- Spon IR Sponge	fully bioabsorbable gelatin sponge 	 200s-3x2x2mm

indicated to achieve rapid

haemostasis(e.g. surgically or trauma 	     GS- 344- Gelita- Spon IR

induced) by tamponade, and arterial 	Sponge; 100s-4x4x4mm

embolisation. also indicated for use as a

vehicle for a wide range of therapeutic

agentsm including antibiotics, thrombin

and chemotherapeutics without reduction

in the sponge's haemostatic effect.

Prostheses List by Category, Groups and Sponsor	Page 89 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LH410	Gelita-Spon Absorbable Gelatin Sponge 	'Gelita-Spon Anal-Vaginal Tampon is a 	3x8cm	$17.00	Temporary Listing - Feb 2009

Anal-Vaginal Tampon	sterile, single use, fully bioabsorbable

gelatin sponge  indicated to achieve rapid

haemostasis by tamponade, also indicated

for use as a vehicle for a wide range of

therapeutic agents, including antibiotics,

thrombin and chemotherapeutics without

reduction in the sponge's haemostatic

LH411	Gelita-Spon Absorbable Gelatin Sponge 	GelitaSpon  ENT Sponge is a sterile, 	8x5x1 cm & 1x1x1cm	$10.00

- Gelita-Spon ENT Sponge	single use, water insoluble, fully

bioabsorbable, firm, high-density gelatin

sponge  indicated to achieve rapid

haemostasis during ENT surgery .

LH412	Gelita-Spon Absorbable Gelatin Sponge-	Gelita-Spon Dental Cube is a  sterile, 	GS-310 - Gelita-Spong Dental 	$3.00

Gelita- Spon Dental Cube	single-use, indicated to achieve rapid 	Cubes; 50s - 10 x 10 x 10mm

haemostasis dental surgery (oral bone and

soft tissue), a void filler to mitigate

against the risk of sclerosis created by

tooth extraction, root amputations, and

the removal of cysts, tumours and

impacted teeth.  its absorptive capacity

being a function of the amount of gelatin

incorporated and, hence, the physical size

of the sponge. also indicated for use as a

vehicle for a wide range of therapeutic

LH414	Gelita-Spon Absorbable Gelatin Sponge-	Gelita-Spon Standard is a sterile, single- 	GS-010-Gelita-Spon Standard; 	$10.00

Gelita- Spon Standard	use, fully bioabsorbable gelatin sponge 	10s-80x50x10m       GS-060-

indicated to achieve rapid 	Gelita-Spon Standard Size 12-7;

haemostasis(e.g. surgically or trauma 	10s-60x20x7mm

induced)by tamponade, and arterial

embolisation . also indicated for use as a 	   GS-060-Gelita-Spon Standard

vehicle for a wide range of therapeutic 	Size 12-7; 10s-60x20x7mm

agents, including antibiotics, thrombin

and chemotherapeutics without reduction 	                  GS-650- Gelita

in the sponge's haemostatic effect.	Spon Standard Size 200; 10s-

125x80x10mm

GS-110-Gelita-Spon Standard

Size Special 20; 20s-

80x50x1mm

GS-950-

Gelita-Spon Standard Film; 20s-

200x70x0.5mm

Prostheses List by Category, Groups and Sponsor	Page 90 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.5.4.1 Haemostatic sponge, 0-10cm

Johnson & Johnson Medical Pty Ltd

JJ014	Surgicel ORIGINAL Absorbable 	Oxidised regenerated cellulose gauze, the 	1.25  x 5cm	$10.00	$13.00

material is biocompatible and also

JJ015	Spongostan Absorbable Haemostat	Dental (Box of 24)	10 x 10 x 10mm	$3.00

JJ023	Surgicel Nu-Knit Absorbable Haemostat	High density, oxidised regenerated 	2.5 x 2.5cm	$10.00	$19.00

cellulose, the material is biocompatible

and also bactericidal

Pharmacia Australia Pty Ltd (Pfizer Australia Pty Ltd)

PU056	Gelfoam Sterile Sponge	Sterile, pliable, nonantigenic surgical 	Size 12 - 20mm x 60mm x 	$10.00	$18.00

sponge prepared from specially treated 	7mm, packet of 4; Size 100 -

purified gelatin solution	80mm x 125mm x 10mm in

individual packet

3.5.4.2 Haemostatic sponge, 11-30cm

Bard Australia Pty Ltd

BA119	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	12.5-7   2 cm x 6.25cm x 7mm	$15.00

source of surgical bleeding

Johnson & Johnson Medical Pty Ltd

JJ006	Spongostan ORIGINAL Absorbable 	Anal 20s (Box of 20)	80 x 30mm	$17.00

Haemostat

JJ007	Spongostan ORIGINALAbsorbable 	Anal 5s (Box of 5)	80 x 30mm	$17.00

Haemostat

JJ009	Surgicel Fibrillar Absorbable Haemostat	Fibrous fleece, oxidised regenerated 	2.5 x 5.1cm	$15.00	$40.00

cellulose, the material is biocompatible

and also bactericidal

3.5.4.3 Haemostatic sponge, 31-75cm

Bard Australia Pty Ltd

BA120	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	50   8cm x 6.25cm x 1cm	$10.00

source of surgical bleeding

Johnson & Johnson Medical Pty Ltd

JJ003	Spongostan Absorbable Haemostat	Standard (Box of 20)	70 x 50 x 10mm	$10.00

Prostheses List by Category, Groups and Sponsor	Page 91 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ005	Spongostan Absorbable Haemostat	Special (Box of 20)	70 x 50 x 1mm	$10.00

JJ008	Surgicel Nu-Knit Absorbable Haemostat	High density, oxidised regenerated 	7.5 x 10cm	$10.00	$38.00

cellulose, the material is biocompatible

and also bactericidal

JJ013	Surgicel ORIGINAL Absorbable 	Oxidised regenerated cellulose gauze, the 	5 x 7.5cm	$10.00	$22.00

material is biocompatible and also

JJ030	Surgicel Fibrillar Absorbable Haemostat	Fibrous fleece, oxidised regenerated 	5.1 x 10.2cm	$15.00	$73.00

cellulose, the material is biocompatible

and also bactericidal

Lifehealthcare Pty Ltd

LH424	Gelitacel Oxidised Resorbable Cellulose 	Gelitacel is a white, single-use, non-toxic,	5 x 7 cm	$10.00	$18.00

Gauze (15)	 sterile, bioarbsorbable, weakly acidic,

viscose-free, knitted haemostatic fabrci

3.5.4.4 Haemostatic sponge, 76-200cm

Bard Australia Pty Ltd

BA121	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	100   8cm x 12.5cm x 1cm	$30.00

source of surgical bleeding

BA122	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	100/Thin   8cm x 12.5cm x 	$30.00

source of surgical bleeding

BA123	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	200   8cm x 25cm x 1cm	$30.00

source of surgical bleeding

Johnson & Johnson Medical Pty Ltd

JJ004	Spongostan Absorbable Haemostat	Film (Box of 20)	200 x 70 x 0.5mm	$30.00

JJ012	Surgicel ORIGINAL Absorbable 	Oxidised regenerated cellulose gauze, the 	5-10.2 x 20-35cm	$30.00	$40.00

material is biocompatible and also

JJ029	Surgicel Fibrillar Absorbable Haemostat	Fibrous fleece, oxidised regenerated 	10.2 x 10.2cm	$45.00	$114.00

cellulose, the material is biocompatible

and also bactericidal

Lifehealthcare Pty Ltd

LH423	Gelitacel Oxidised Resorbable Cellulose 	Gelitacel is a white, single use, non-toxic,	5 x 35 cm, 10 x 20 cm	$30.00	$37.00

Gauze (10)	 sterile, hydorphilic bioabsorbable, weakly

acidic, viscose-free, knitted haemostatic

fabric (USP)

Prostheses List by Category, Groups and Sponsor	Page 92 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.5.4.5 Haemostatic sponge, >200cm

Johnson & Johnson Medical Pty Ltd

JJ433	SURGICEL Nu knit Absorbable 	High density , oxidised regenerated 	15.2 x 22.9cm	$60.00	$106.00

cellulose, the material is biocompatible

and also bactericidal.

3.6.1 Biliary Stents

Ackermann Australia Pty Ltd

AK003	Biliary Stents	Biliary stent, straight, curved, bended, 	5.0 to 11.5 french	$55.00

pigtails and double pigtail

Pyramed (Australia) Limited

PY003	Sinus-Flex Vascular-Biliary Stent	Nickel Titanium Alloy	4 - 12 x 40 - 80mm	$2,225.00

William A Cook Australia Pty Ltd

WC269	Fusion Marathon Biliary Stent	Biliary Plastic Stent with anti-reflux sleeve	Stent diameter: 10FR; Lengths 5	$300.00

preloaded on the OASIS delivery device	 to 15cm

3.6.1.1 Biliary stent, wall not reinforced

Boston Scientific Australia Pty Ltd

BS054	Flexima Biliary Stent	Polyurethane Biliary Stent	Diameters up to 12Fr & lengths 	$200.00

up to 15cm

BS055	RX Biliary Stent	Polyurethane Biliary Stent	Diameters up to 12Fr & lengths 	$200.00

up to 15cm

BS066	Biliary Drainage Stent, Amsterdam 	C-Flex or Polyurethane Biliary Stent	Diameters up to 12Fr & lengths 	$200.00

Biliary Stent	up to 15cm

Olympus Australia

OL003	Bile Duct Stent	Polyethylene Stents	7FR - 12FR 3cm - 15cm	$82.00

OL004	Bile Duct Stent	Polyethylene Stents	7FR - 10FR 3cm - 15cm	$82.00

OL005	Bile Duct Stent	Fluorinated Ethylene Propylene	10FR - 14FR 3cm -15cm	$82.00

OL008	Olympus Biliary Stent Set	Radio-opaque Polyethglare Stent Set	7Fr 3cm - 15cm, 8Fr 3cm - 	$82.00	$195.00

15cm, 10Fr 3cm - 15cm

Prostheses List by Category, Groups and Sponsor	Page 93 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

William A Cook Australia Pty Ltd

WC001	Cotton-Huibregste Biliary Stent Set	7 - 11.5Fr, Length 5 - 15cm	$200.00

WC006	Cotton-Leung Biliary Stent Only	6 - 11.5Fr, Length 3 - 20cm	$82.00

WC008	Cotton-Huibregste Biliary Stent Only	7 - 11.5Fr, Length 5 - 21cm	$82.00

WC012	Zimmon Biliary Stent Only	5 - 11.5Fr, Length 3 - 15cm	$82.00

WC013	Zimmon Biliary Stent Set	Double pigtail plastic biliary stent with 	5 - 11.5Fr, Length 2 - 18cm	$200.00

delivery system

WC062	Biliary Stents	Miller Set (UBSS-MLR). Double Pigtail 	Stent: 10,12,14 Fr Stent Length: 	$150.00

Stent for Drainage of bile from the 	2.5,5,7.5 cm Positioner Length:

Common Duct into the Duodenum	25cm.

WC064	Tannenbaum Biliary Stent only	Plastic biliary stent with proximal and 	Diameter: 8.5,10,11.5 FR. 	$150.00

distal flaps	Length Between Flaps: 5 -->15 cm

WC071	Nasobiliary Drainage Set	Nasobiliary drainage catheter Set includes:	Diameter: 5 to 10 FRLength: 	$82.00

nasal transfer tube, drainage connecting 	250cm

tube, wire guide

WC078	Cook Biliary Stents	Composition Plastic, includes Stent, 	French 7.0, length 4cm	$268.00

Wireguide & Positioner

WC106	Cotton-Leung Biliary Stent Set	Polyethylene Stent preloaded on an Oasis 	Diameter 7 - 11.5 FR,  length 5 	$200.00

Introduction System	- 15cm

WC108	Geenan Pancreatic Stent Set	Radiopaque Polyethylene Stent with or 	Diameter 3 - 11.5 FR, Length 2 	$200.00

without ductal flaps - includes pushing 	- 15cm

catheter

WC166	Solus Biliary Stent  Set	Double Pigtail with OASIS introducer. 	Diameter 10 FR, Length:1 - 15 	$268.00

Sof-flex material - with radiopaque bands.	cm Between pigtails

WC228	Tannenbaum Biliary Stent Set preloaded 	Plastic Biliary Stent	8.5 - 11.5 Fr,   5 - 15 cm	$200.00

on the OASIS Introduction System

WC267	Cotton-Leung Biliary Stent Only	Cotton-Leung Biliary Stent Only	6 - 11.5 Fr; Length 3 - 20cm	$82.00

percutaneous, transhepatic

William A Cook Australia Pty Ltd

WC017	Cotton-Leung Biliary Stent Set	nil provided	7 - 11.5Fr, Length 5 - 18cm	$200.00

Prostheses List by Category, Groups and Sponsor	Page 94 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

preloaded

William A Cook Australia Pty Ltd

WC216	Fanelli Laparoscopic Endobiliary Stent 	Fanelli stent (double flange white 	7.0 French diameter x 6cm 	$585.00

polyehtylene), tracer Hybrid 	length double flange stent loaded

.035"X150cm Guide (slippery wire), 8.5 	 in an 8.5 fr delivery system.

Fr Introducer and Pusher Catheter (TFE)

System with four radiopaque accuracy

markers, two way terminal adapter

3.6.1.2 Biliary stent, reinforced wall, covered

Boston Scientific Australia Pty Ltd

BS052	Wallstent Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & 	$2,750.00

lengths up to 100mm

BS070	Wallstent RX Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & 	$3,025.00

lengths up to 100mm

BS117	WallFlex RX Biliary Stent	Platinol, self-expanding stent	Diameters up to 10mm & 	$3,025.00

lengths up to 100mm

ConMed Linvatec Australia Pty Ltd

LV097	Niti-S Biliary Covered Stent	Niti-S Biliary self expanding nitinol stent 	Diameter 8mm and 10mm Stent 	$3,025.00

fully covered with a silicone membrane 	lengths 40-120mm

and a nylon drawstring for removal. Stent

delivery system is designed for use TTS

for endoscopic or percutaneous

LV106	Niti-S ComVi Biliary Stent (Fully 	The Niti-S ComVi Biliary Stent (Fully 	8mm to 10mm diameter x 4cm 	$3,025.00	$3,920.00

Covered) is comprised of 2 Nitinol D-	to 12cm length

type stents with a layer of

polytetraethylene (PTFE) between that

fully envelopes the proximal and distal

ends of the stent, resulting in an

integrated structure designed to prevent

Endotherapeutics Pty Ltd

ET038	SX-Ella Biliary Stent	Uncovered, self-expanding nitinol stent	Dia 8-12mm, length 50-77mm	$3,025.00	$3,200.00

N Stenning  & Co Pty  Ltd

NG047	Hanarostent Biliary Stent	Biliary Stent Silicone Covered Nitinol 	Diameter: 8mm - 10mm Length: 	$3,025.00

Wire 99% Pure Gold complete with 	50mm - 100mm

Prostheses List by Category, Groups and Sponsor	Page 95 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AM

W L Gore & Associates

GT116	Gore Biliary Endoprostheses	ePTFE	Short or Long Catheter 8-	$3,025.00	$3,605.00

10mmx4-8cm

3.6.1.2.2 Biliary stent, reinforced wall, uncovered / bare metal

Olympus Australia

OL011	X-Suit NIR Biliary Metal Stent	The Medinol X-Suit® Biliary Metallic 	8 or 10mm diameter - 40, 60, 80	$2,225.00

Stent consists of a self-expanding 	 or 100 mm length, 7.5F

noncovered Nitinol stent integrated into a

3.6.1.3 Biliary stent, reinforced wall, uncovered/bare metal

Bard Australia Pty Ltd

BA124	Memotherm Biliary Stent	Nitinol. Includes deployment system	Sizes - Diameter 8 - 10mm, 	$2,225.00

Length 40 - 100mm

Boston Scientific Australia Pty Ltd

BS051	Wallstent Biliary Stent	Monofilament wire, self-expanding stent	Diameters up to 10mm & 	$2,225.00

lengths up to 100mm

ConMed Linvatec Australia Pty Ltd

LV095	Niti-S Biliary Stent D-Type	Niti-S Biliary Stent D-Type Uncovered.  	10mm Diameter x 50 - 120mm 	$2,225.00	$3,000.00

Deployed via stent delivery system for 	length

use TTS or percutaneously

LV096	Niti-S Biliary Stent Y-Type and T-Type	Niti-S Biliary is a self expanding metal 	10mm Diameter x 5 - 10cm 	$2,225.00	$3,000.00

stent, made from Nitinol uncovered.

Stent Y-Type for TTS approach, T-Type

for percutaneous approach.

Endotherapeutics Pty Ltd

ET039	SX-Ella Tips Stent	Uncovered, self-expanding nitinol stent	Dia 10-14mm, length 52-77mm	$2,225.00	$3,600.00

Pyramed (Australia) Limited

PY002	Optimed Biliary Sinus Stent	Nickel Titanium Alloy	4 - 12 x 30 - 100mm	$2,225.00

PY004	Sinus-Endoflex-Biliary Sinus Stent	Nickel Titanium Alloy	40 x 7, 8, 9, 10mm; 60 x 7, 8, 	$2,225.00

9, 10mm; 80 x 7, 8, 9, 10mm

Prostheses List by Category, Groups and Sponsor	Page 96 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

William A Cook Australia Pty Ltd

WC174	Zilver Biliary Stent System	Self expanding Metal Biliary Stent System	Diameters: 6, 8, 10mm; Lengths:	$2,225.00

4, 6,8cm

WC200	Fusion Zilver Biliary Stent System	Self expanding Metal Biliary Stent with 	Diameters: 6, 8 & 10mm; length:	$2,225.00

Fusion Introducer System	 4, 6 & 8cm

WC270	Zilver Biliary Stent System	Self expanding metal biliary stent system	Diameters 6, 8, 10mm; Lengths 	$2,225.00

4, 6, 8 cm

3.6.2 Colonic Stents

3.6.2.2 Colonic stent, wall reinforced

Bard Australia Pty Ltd

BA088	Memotherm Stents 	Colorectal, Nitinol, Self-expanding	25-30mm D, 60-100mm Length	$3,060.00

N Stenning  & Co Pty  Ltd

NG050	Hanarostent Colo-Rectal Stent	Colo-Rectal Stent Silicone covered Nitinol	16mm - 24mm Diameter, 38mm	$1,600.00

Wire 99% Pure Gold complete with 	 - 130mm Length

delivery device

William A Cook Australia Pty Ltd

WC100	Colonic Z Stent with Introduction System	Composition of Stent Stainless Steel, 	Dia 25mm, length 4, 6, 8, 10, 	$1,600.00

includes Stent Introducer Set

self-expanding

Boston Scientific Australia Pty Ltd

BS071	Ultraflex Precision Colonic Stent	Nitinol, self expanding stent	Diameters up to 30mm & 	$3,060.00

lengths up to 150mm

ConMed Linvatec Australia Pty Ltd

LV101	Niti-S Colorectal Stent D-type	Niti-S D- type Colorectal self-expanding 	Diameters: 18 - 28mm Lengths: 	$3,060.00	$3,498.00

metal stent made from Nitinol in unique D	60 - 120mm

mesh construction, uncovered OTW or

TTS.  With string for ease of removal.

LV102	Niti-S Colorectal Stent	Niti-S Colorectal self-expanding metal 	Stent Dimensions mm: 	$3,060.00

stent made from Nitinol.  Stent PTFE 	18x26x30, 18x24x30,

covered and uncovered OTW or TTS 	20x26x30, 22x30x30,

with string for ease of removal.	24x30x30, 20x28x30 Length

Prostheses List by Category, Groups and Sponsor	Page 97 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.6.3 Oesophageal Stents

Ackermann Australia Pty Ltd

AK002	Stent, oesophageal, dudodenal, rectal, 	self expandable nitinol stent with 	20,30,40,50,60,70,80,90,100,11	$1,200.00

introducer system	0,120mm

3.6.3.2 Oesophageal stent, reinforced wall, covered

Boston Scientific Australia Pty Ltd

BS049	Wallstent Flamingo Oesophageal Stent	Monofilament wire, self-expanding stent	Diameters up to 30mm & 	$3,500.00

lengths up to 150mm

BS089	WallFlex Oesophageal Stent	Nitinol, self expanding stent	Diameters up to 30mm & 	$3,500.00

lengths up to 150mm

BS102	Polyflex Oesophageal Stent	Polyester braided material encapsulated 	Diameters up to 30mm & 	$2,300.00

with silicone, self expanding stent	lengths up to 150mm

ConMed Linvatec Australia Pty Ltd

LV099	Niti-S Oesophageal Fully Covered Stent	Niti-S Oesophageal fully covered self 	Diameter16mm x 24mm, 	$3,500.00

expanding nitinol stent with a covering of 	18mm x 26mm, 20mm x 28mm

PTFE or silicone and nylon drawstring 	and 22mm x 30mmLength

for removal or repositioning.

LV100	Niti-S Oesophageal Double Stent	Niti-S Oesophageal Double self-expanding	Diameter16mm x 24mm, 	$3,500.00	$3,550.00

metal stent made from Nitinol, with an 	18mm x 26mm, 20mm x 28mm

antimigration outer uncovered wire 	Length60-150mm

construction to allow the mesh to embed

in the oesophageal wall. Also with anti-

reflux valve inner polyurethane layer to

prevent tumour ingrowth. String for

retrieval or repositioning.

William A Cook Australia Pty Ltd

WC068	Esophageal Anti-reflux Stent	Self Expanding Metal Stent with 	Flared End Diameter: 25mm	$2,200.00

Polyurethane coating and Dua anti-reflux 	Shaft Diameter: 18mm

valve	Length: 8, 10, 12, 14cm

WC246	Evolution Oesophageal Metal Stent	Oesophogeal Self Expanding Metal Stent 	8, 10, 12.5 and 15cm Lengths, 	$3,500.00

with controlled release delivery system	25mm flared ends, 20mm body

Prostheses List by Category, Groups and Sponsor	Page 98 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.6.3.3 Oesophageal stent, reinforced wall, uncovered/bare metal

Boston Scientific Australia Pty Ltd

BS046	Ultraflex Oesophageal Stent; Ultraflex 	Nitinol, self expanding stent	Diameters up to 30mm & 	$2,500.00

Oesophageal NG Stent	lengths up to 150mm

Device Technologies Australia Pty Ltd

DE262	ALIMAXX-E Esophageal Stent System	Esophageal stent, radiopaque, self 	Diameter 18-22mm, Length 70-	$2,500.00

expanding nitinol covered stent, 	120mm

premounted on a delivery system

Endotherapeutics Pty Ltd

ET001	Ferx Ella Esophageal Stent	Kit includes esophageal stent, introducer, 	Diam 20mm, Length 80 - 	$3,500.00

balloon catheter

ET045	Boubella Esophageal Stent	Self expandable stainless steel wire stent 	Length 90 - 195mm	$3,500.00	$3,800.00

with anti-reflux valve

N Stenning  & Co Pty  Ltd

NG048	Hanarostent/Choostent Covered 	Oesophageal Covered Stent Silicone 	Diameter: 18mm - 22mm Usable	$2,500.00

Oesophageal Stent	Nitinol Wire 99% Pure Gold Complete 	 Length: 30mm - 130mm

with delivery device

Pyramed (Australia) Limited

PY007	Sinus-Esophageal Stent	Self expanding stent made of nickel - 	Diameter 24-18-24mm, length 	$2,500.00

titanium alloy	50,70,90,120mm; Diameter 26-

20-26, length 50,70,90,120mm

William A Cook Australia Pty Ltd

WC182	Esophageal EZS Stents Polyurethane 	Uncoated Flange Esophageal Stent with 	8, 10, 12, 14cm	$2,500.00

Coating	Z-Speed TM Introducer

3.6.4 Pancreatic Stents

3.6.4.1 Pancreatic stent, wall not reinforced

William A Cook Australia Pty Ltd

WC010	Zimmon Pancreatic Stent Only	Plastic pancreatic stent	Diameters 5 - 7Fr, Length 2 - 	$85.00

WC079	Zimmon Pancreatic Stent	Single pigtail with radio-opaque band	Diameter 4 - 10FR, Length 2 - 	$85.00

18cm

WC080	Zimmon Pancreatic Stent	Single pigtail plastic biliary stent with long	Diameter 5 - 7 FR, Length 2 - 	$85.00

curl

Prostheses List by Category, Groups and Sponsor	Page 99 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WC123	Geenen Pancreatic Stent	Straight plastic pancreatic stent with or 	Diameter 3 - 11.5 FR, length 2 -	$85.00

without ductal flaps	 15cm

WC212	Zimmom Pancreatic Stent	Single pigtail radio-opaque Polyethylene 	Diameter 3 - 7 FR, Length 3 - 	$85.00

Stent with or without ductal flaps

WC271	Geenen Pancreatic Stent	Straight plastic pancreatic stent with or 	Diameter 3 - 10 Fr; length 2 - 	$85.00

without ductal flaps

3.6.5 Other enteral Stents

William A Cook Australia Pty Ltd

WC268	Evolution Enteral Metal Stent	Enteral Metal Stent	Diameter 22 to 25mm body; 27 	$3,250.00

to 30mm flanges. Length: 6 to

3.6.5.1 Other enteral stent, wall not reinforced

Boston Scientific Australia Pty Ltd

BS053	Wallstent Enteral Stent	Monofilament wire, self-expanding stent	Diameters up to 30mm & 	$3,000.00

lengths up to 150mm

BS090	WallFlex Enteral Stent 	Nitinol, self expanding stent	Diameters up to 30mm & 	$3,500.00

lengths up to 150mm

ConMed Linvatec Australia Pty Ltd

LV094	Niti-S Pyloric Stent D-type	Niti-S Pyloric self-expanding metal stent 	Diameter:  16 - 18mm Length: 	$3,000.00	$3,050.00

D-type made from Nitinol in D mesh 	40 - 120mm

construction, uncovered, OTW or TTS

3.6.6 Tracheobronchial Stents

3.6.6.1 Tracheobronchial stent, reinforced wall

ConMed Linvatec Australia Pty Ltd

LV104	Niti-S Tracheal Stent	Tracheal Nitinol Self Expanding Metal 	16mm to 20mm diameter x 3cm	$3,000.00	$3,395.00

Stent, ePTFE covered with retrieval suture	 to 10cm length

LV105	Niti-S Bronchial Stent	Bronchial Nitinol Self Expanding Metal 	10mm to 14mm diameter x 3cm	$3,000.00	$3,395.00

Stent, Expanded Poly Tetra Fluoro 	 to 6cm length

Ethylene (ePTFE) covered, with retrieval

Prostheses List by Category, Groups and Sponsor	Page 100 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.6.6.1 Tracheobronchial stent, reinforced wall, covered

Boston Scientific Australia Pty Ltd

BS047	Ultraflex Tracheobronchial Stent	Nitinol, self expanding stent	Diameters up to 25mm & 	$3,000.00

lengths up to 80mm

BS101	Polyflex Airway Stent	Polyester braided material encapsulated 	Diameters up to 25mm & 	$2,300.00

with silicone, self expanding stent	lengths up to 80mm

BS103	Dynamic (Y) Stent	Bifurcated Tracheobronchial stent. 	Diameters up to 25mm & 	$3,000.00

Bronchial Limbs made of silicone and 	lengths up to 120mm

tracheal stem made of silicone with

embedded stainless steel c-shape rings.

N Stenning  & Co Pty  Ltd

NG049	Hanarostent - Covered Tracheal airway 	Tracheal Airway Stent Silicone Nitinol 	Diameter: 12mm - 22mm Usable	$3,000.00

Wire 99% Pure Gold Complete with 	 Length: 30mm - 80mm Total

Length:  40mm - 80mm

Endobronchial Valve

Medtel Australia Pty Ltd

ME124	Emphasys Endobronchial Valve	One way valve	Small, Medium, Large	$6,300.00

Nitinol

Device Technologies Australia Pty Ltd

DE259	AERO Tracheobronchial Stent System	Radiopaque self-expanding nitinol stent 	Diameter 10-18mm, length 20-	$3,000.00

and delivery system	80mm

3.6.7 Other Non-vascular, Non-urological Stents

3.6.7.1 Other non-vascular, non-urological, stent, reinforced wall, covered

Integra Neurosciences Pty Ltd

IG002	NeuraGen	NeuraGen is a semi-permeable Type 1 	2mm x 2cm, 3mm x 2cm, 4mm	$1,250.00

collagen tube for peripheral nerve repair. 	 x 2cm, 5mm x 2cm, 6mm x

It provides a protective environment and 	2cm, 7mm x 2cm, 1.5mm x

conduit for axonal regrowth across a 	3cm, 2mm x 3cm, 3mm x 3cm,

nerve gap.  It is biocompatible and 	 4mm x 3cm, 5mm x 3cm,

completely resorbed. The open collagen 	6mm x 3cm, 7mm x 3cm

structure facilitates suture placement. It

has a resilient structure that maintains an

open lumen throughout the process of

axonal growth.

Prostheses List by Category, Groups and Sponsor	Page 101 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

IG003	NeuraWrap	NeuraWrap nerve protector is designed to	3mm x 2cm, 3mm x 4cm, 5mm	$1,250.00

provide an interface between the nerve 	 x 2cm, 5mm x 4cm, 7mm x

and the surrounding tissues. NeuraWrap 	2cm, 7mm x 4cm, 10mm x

remains in place during the active phase 	2cm, 10mm x 4cm

of tissue healing and is completely

resorbed after tissue response has

resolved. The porous outer layer of

NeuraWrap comprises a tubular matrix

that mechanically resists compression

from surrounding tissue and excludes

scar tissue ingrowth. The semi-permeable

inner membrane allows passage of small

molecules (ie water, ions, metabolites,

nutrients) but prevents the escape of

endogenous growth factors (Nerve

Growth Factor). NeuraWrap provides a

new alternative for the treatment of

3.7.1 Pleural Effusion Shunt

Gytech Pty Ltd

GP002	Rocket® IPC Catheter Insertion Set and	Rocket® IPC Catheter Insertion Set  and 	16fg x 40cm silicone catheter	$425.00	$975.00	The minimum benefit for this

10 Bottles	10 Bottles	product is payable for the

catheter and one (1) bottle only.

3.8.1 Adhesion Barrier

Genzyme Australasia Pty Ltd

GE011	Sepraspray Adhesion Barrier	Sepraspray Adhesion Barrier Kit - 1 Box 	1 x 1g of Powder Reload and 	$480.00	$510.00	Temporary Listing

containing 1 x 1g of Powder Reload and 	Applicator

Applicator

GE012	Sepraspray Adhesion Barrier	Sepraspray Adhesion Barrier Reload 1g - 	1 x 1g of Powder	$345.00	$375.00	Temporary Listing

1 Box containing 1 x 1g of powder

Prostheses List by Category, Groups and Sponsor	Page 102 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.1.1 Accessory Kit only

Gyrus Australasia Pty Ltd

GY082	SprayGel Air Assisted Sprayer	SK-A-6001 SprayGel Sprayer Kit; AK-A-	One size only;  AK-A-4210 - 5 	$135.00	Temporary approval - funded

4210  SprayGel Open Surgery Applicator	Applicators/Box	when clinical indications for use

are present.

3.8.1.2 Bioabsorbable membrane

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS138	Prevadh	Adhesion Prevention film	12x12cm, 17x12cm	$345.00	$690.00

Endotherapeutics Pty Ltd

ET051	Surgiwrap	Bio Absorbable Antiadhesion Barrier	All sizes with and without suture	$345.00	$500.00	Temporary approval - funded

holes	when clinical indications are

Genzyme Australasia Pty Ltd

GE006	Seprafilm Adhesion Barrier	Sodium hyaluronate carbomethylcellulose 	13cm  x 15cm	$345.00

membrane

Johnson & Johnson Medical Pty Ltd

JJ010	Interceed Absorbable Adhesion Barrier	Oxidized Regenerated Cellulose	7.6cm x 10.2cm	$172.00	$175.00	Temporary Approval - Funded

when clinical indications for use

are present.

Resorbable

Johnson & Johnson Medical Pty Ltd

JJ464	Divide Absorbable Adhesion Barrier	Oxidised regenerated cellulose	3.8 x 5.1cmm	$172.00	$213.00

3.8.1.2 Bioabsorbable Membrane, (e.g. sodium hyaluronate impregnated patch)

Tag Medical

TM044	TissuePatch3	Synthetic Self-Adhesive Surgical Sealant 	50mm x 25mm	$380.00

TM045	TissuePatch3	Synthetic Self-Adhesive Surgical Sealant 	50mm x 50mm	$550.00

TM046	TissuePatch3	Synthetic Self-Adhesive Surgical Sealant 	50mm x 100mm	$755.00

Prostheses List by Category, Groups and Sponsor	Page 103 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.1.3 Bioabsorbable Membrane, spray

Baxter Healthcare Pty Ltd

BX260	ADEPT Adhesion Reduction Solution	ADEPT Adhesion Reduction Solution is a 	1500ml	$250.00

single use, sterile fluid for intraperitoneal

administration. ADEPT is intended to be

used as an instillate for the reduction of

adhesions following abdominal surgery.

Gyrus Australasia Pty Ltd

GY083	SprayGel Adhesion Barrier Polymer Kit	PK-A-6010 SprayGel Polymer Kit; PK-A-	One size only; PK-A-4210 - 5 	$300.00	Temporary approval - funded

4210 SprayGel Open Surgery Polymer Kit	Kits/Box	when clinical indications for use

(10ml)	are present.

3.8.1.4 Bioabsorbable Membrane, gel

Johnson & Johnson Medical Pty Ltd

JJ700	Ethicon Intercoat Absorabable Adhesion	Combination of Polyethylene Oxide 	2 x 20ml Sterile Syringes, 1x 	$500.00

Barrier Gel	(PEO) and Sodium 	Applicator

Carboxymethylcellulose stabilised with

Calcium and made isotonic with Sodium

Chloride. Kit contains 2 x 20ml Sterile

1g

Advanced Surgical Technologies

AD067	Adcon Gel for Tendons	Adcon Gel	1 gram only	$500.00	$560.00	Temporary Approval - Funded

when clinical indications for use

are present.

3g

Advanced Surgical Technologies

AD066	Adcon Anti-Adhesion Barrier Gel	Adcon Gel	3 gram	$745.00	Temporary Approval - Funded

when clinical indications for use

are present.

Prostheses List by Category, Groups and Sponsor	Page 104 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.2 Ligating Clips

Lifehealthcare Pty Ltd

LH417	SLS Ligating Clip (Pouch)	SLS-Clip Titanium Haemostatic Clip	Small pouch of 4 cartridges/ 120	$42.00

clips; Medium pouch of 4

cartridges/120 clips

LH418	SLS Ligating Clip (Cartridge)	SLS-Clip Titanium Haemostatic Clip	Micro cartridges of 6 clips; 	$12.00

Small cartridges of 6 clips;

Small/Medium cartridges of 6

clips; Medium cartridges of 6

clips; Medium/Large cartridges

of 6 clips; Large cartridges of 6

LH425	Frankenman Linear Cutter Stapler	Single use, reloadable, linear cutter stapler	61mm; 81mm; 100mm	$470.00

containing titanium staples

LH426	Frankenman Linear Stapler Reloads	Linear stapler single use reload with 	32mm; 46mm; 60mm; 90mm	$240.00

titanium staples

LH427	Frankenman Linear Cutter Reloads	Single use, linear cutter reload cartridge 	61mm; 81mm; 100mm	$240.00

containing titanium staples

LH428	Frankenman Linear Stapler	Linear stapler preloaded with titanium 	32mm; 46mm; 60mm; 90mm	$320.00

3.8.2.1 Ligating clips with disposable applier

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS006	Ligation Clips - Disposable clip applier 	Surgiclip	Small	$222.00	Temporary Approval

and ligating clips

AS011	GIA*, ILA* Staplers	Titanium	75mm (3.8mm, 4.8mm)	$250.00	$294.00	Temporary Approval

AS018	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable 	DST TA60-3.5; DST TA60-4.8	$320.00	Temporary Approval

Surgical Stapler and Loading Unit;

Titanium staples used for hemostatic

closure of specific organs and blood

vessels (ex bowel, stomach and lung).

AS019	PI*, Stapler	Premium Multifire TA* Disposable 	30mm (2.5, 3.5, 4.8mm)	$250.00	$264.00	Temporary Approval

Surgical Stapler and Loading Unit

AS035	Roticulator*	Roticulator 30	30mm (3.5, 4.8mm)	$680.00	$715.00	Temporary Approval

AS036	Roticulator*	Roticulator 55	55mm (3.5, 4.8mm)	$799.00	Temporary Approval

Prostheses List by Category, Groups and Sponsor	Page 105 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AS037	ROTICULATOR*	Polysorb 55 Disposable Loading Unit	55mm (3.5, 4.8mm)	$680.00	$715.00	Temporary Approval

AS045	STAT TACK* and Endoscopic Tacker 	Endoscopic TACKER*; Titanium; 	20 tacks; 30 tacks; 5mm; 4mm, 	$435.00	Temporary Approval

Device; PROTACK* Hernia Stapling 	Titanium Surgical Stapler.	4.8mm (10 staples).

Product; ENDO UNIVERSAL*

AS072	Staples and Disposable Stapler Applier 	Titanium, curved, PPCEEA*; Titanium 	21-34mm; 21, 25, 28, 31, 	$780.00	Temporary Approval

and staples; PPCEEA*.	Surgical Stapler.

AS073	ENDOCLIP*; Acuclip Single use 	Titanium Surgical Stapler	5mm (12 clips); One size only.	$435.00	Temporary Approval

Endoscopic Multiple Clip Applier.

AS074	ENDOCLIP*	Titanium Surgical Stapler	10mm (ML, M, L)-(20 clips)	$435.00	Temporary Approval

AS075	ENDO TA*	Titanium Surgical Stapler	30mm	$435.00	$606.00	Temporary Approval

AS077	ENDO GIA*	Titanium Surgical Stapler	30 - 35mm	$435.00	$615.00	Temporary Approval

AS094	GIA*, ILA* Staplers	Titanium	80mm (3.8mm, 4.8mm)	$452.00	Temporary Approval.  *

Trademark of United States

Surgical Corporation

AS095	STAT TACK*  and Endoscopic Tacker 	STAT TACK*	One size only	$250.00	Temporary Approval

Device

AS110	DFS Disposable Fascia Stapler	Stainless Steel	One Size Only	$250.00	Temporary Approval

AS113	DST Series* GIA* Linear Cutter Stapler	single use, reloadable stapler	60mm length: sizes 2.5mm, 	$320.00	$354.00	Temporary approval, pending

and single use loading units	3.8mm, 4.8mm	review of product group

AS115	DST Series* GIA* Linear Cutter Stapler	Single use, reloadable stapler	80mm length; Sizes 3.8 and 	$470.00	Temporary approval, pending

and single use loading units	review of product group

AS119	DST Series* EEA* Circular Stapler	Circular staplers	21mm to 33mm	$780.00	$820.00	Temporary approval, pending

review of product group

AS131	Ligation Clips - Disposable clip applier 	Surgiclip	Medium	$250.00

and ligating clips

AS132	Ligation Clips - Disposable clip applier 	Surgiclip	Large	$285.00

and ligating clips

AS133	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable 	30mm (2.5, 3.5, 4.8mm);  DST 	$320.00	$370.00

Surgical Stapler and Loading Unit; 	TA45-3.5;  DST TA45-4.8;

Titanium staples used for hemostatic 	DST TA30-3.5;  DST TA30-

closure of specific organs and blood 	4.8;  DST TA30V3.

vessels (ex bowel, stomach and lung).

C. R. Kennedy

CK003	Endox Visu-Loc Clip Applier	Single-use laparoscopic clip applier	Medium, Large	$250.00

Prostheses List by Category, Groups and Sponsor	Page 106 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ConMed Linvatec Australia Pty Ltd

LV076	Richard Allan Endoscopic Accessories	Titanium endoscopic clips with applier	Medium-Large, 9mm closed. 20 	$258.00	Temporary Approval

clips

LV086	Reflex 5mm Automatic Clip Applier	Autofeeding disposable clip applier. 	medium/large	$328.00	Temporary Approval, pending

Contains 15 non absorbable polymer 	review of product group

Johnson & Johnson Medical Pty Ltd

JJ037	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with 	3-12 mm; 20 clips per applier	$250.00	$255.00	Temporary Approval

titanium clips

JJ038	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with 	3-12 mm; 30 clips per applier	$300.00	Temporary Approval

titanium clips

JJ039	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with 	5; 20 clips per applier	$250.00	Temporary Approval

titanium clips; reloadable

JJ041	Proximate* Intraluminal Stapler	Metal/plastic circular straight stapler 	21 - 33 mm	$780.00	Temporary Approval

preloaded with titanium staples

JJ042	Proximate* Intraluminal Stapler	Metal/plastic circular curved stapler 	21 - 33mm	$780.00	$799.00	Temporary Approval

preloaded with titanium staples

JJ043	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with 	50 - 60mm	$364.00	Temporary Approval

titanium staples

JJ044	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with 	75 - 80mm	$470.00	$488.00	Temporary Approval

titanium staples

JJ045	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with 	100mm	$470.00	$560.00	Temporary Approval

titanium staples

JJ049	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	30mm	$320.00	$380.00	Temporary Approval

titanium staples

JJ050	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	55 - 60mm	$320.00	$400.00	Temporary Approval

titanium staples, manual closure

JJ051	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	55 - 60mm	$320.00	$400.00	Temporary Approval

titanium staples, automatic closure

JJ052	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	90mm	$320.00	$420.00	Temporary Approval

titanium staples

JJ056	Proximate Articulating Linear Stapler	Articulating linear stapler preloaded with 	55mm	$799.00	$863.00	Temporary Approval

titanium staples

JJ184	Endopath Multi Stapler	Endoscopic titanium stapler with staples	11mm shaft diameter	$470.00	$550.00	Temporary Approval

JJ186	Ligaclip Endoscopic Multiclip Applier	Metal/plastic stapler with titanium clips	10-12 mm shaft diameter, 	$470.00	Temporary Approval

medium to large clip

Prostheses List by Category, Groups and Sponsor	Page 107 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ187	Ligaclip Allport 5mm Clip Applier	Metal/plastic stapler with titanium clips	5mm shaft diameter	$320.00	$414.00	Temporary Approval

JJ188	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium 	45mm; short shaft	$435.00	$712.00	Temporary Approval

staples

JJ189	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium 	45mm; long shaft	$435.00	$770.00	Temporary Approval

staples

JJ191	Endopath Linear Cutter	Metal/plastic cutter-stapler with titanium 	35mm	$435.00	$696.00	Temporary Approval

staples

JJ443	Proximate Intraluminal Stapler PPH	Proximate Hemorrhoidal Circular Stapler 	One Size Only	$725.00	$754.00

JJ474	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40	30mm &, 40mm	$470.00	$642.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

JJ482	LIGAMAX 5mm Endoscopic Clip 	LIGAMAX 5mm Endoscopic Clip Applier	Medium / Large	$412.00	$428.00

JJ564	Echelon Endocutter Reload	Echelon Endocutter Reload	60 and 45mm	$244.00

JJ812	CONTOUR Curved Cutter Stapler	Curved cutter and stapler for 	40mm	$650.00

gastrointestinal transaction and resection.

Lifehealthcare Pty Ltd

LH415	Frankenman Circular Stapler	Curved intraluminal stapler preloaded with	21mm; 25mm; 28mm; 32mm	$780.00

titanium staplers.

LH416	Frankenman Haemorrhoidal (CPH) 	Circular stapler for rectal prolapse and 	Outside diameter: 32.5mm; 	$725.00

haemorrhoids preloaded with titanium

Med-Chem Surgical Pty Ltd

ML004	Touchstone Linear Cutter Stapler 60mm	A device that incorporates a disposable 	60mm length in staple line with 	$350.00

staple cartridge that lays a double 	choice of 2.5mm, 3.8mm and

staggered row of staples on each side of 	4.5mm titanium staples

a cutting knife.  Used for extensive

bowel, gastric, gynaecological and

ML005	Touchstone Linear Cutter Stapler 80mm	A device that incorporates a disposable 	80mm length in staple line with 	$380.00

staple cartridge that lays a double 	choice of 3.8mm and 4.5mm

staggered row of staples on each side of 	titanium staples

a cutting knife.  Used for extensive

bowel, gastric, gynaecological and

ML006	Touchstone Linear Cutter Stapler 	A device that incorporates a disposable 	100mm length in staple line with	$380.00

staple cartridge that lays a double 	 choice of 3.8mm and 4.5mm

staggered row of staples on each side of 	titanium

a cutting knife.  Used for extensive

bowel, gastric, gynaecological and

Prostheses List by Category, Groups and Sponsor	Page 108 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ML011	Touchstone Linear Stapler	A device housing a staple cartridge that 	30, 45, 60 and 90mm staple 	$320.00

places a double staggered row of staples 	lines in 2.5, 3.5 or 4.8mm staples

into appropriate target tissue.

ML012	Touchstone Circular Stapler	A surgical implanting device for placing s 	external dimesnion - 25mm, 	$699.00

specific size of double staggered row of 	29mm or 33mm

titanium staples in a circular fashion in the

large bowel, small bowel or oesophagus

to maintain function of the digestive tract.

A suitable size is used to match the

lumen size of the patient's digestive tract

ML013	Touchstone Prolapse Haemorrhoid 	A surgical implanting device for placing a 	33mm is the external diameter of	$680.00

specific size of double staggered row of 	 the device.

titanium staples in a circular fashion in the

Anal and/or Rectal region for the

circumferential excision of the prolapsed

distal rectal muscosa, as described by Dr.

Longo, Italy.

Medical Specialties  Australia Pty Ltd

MS056	THD Slide	Transanal Haemorrhoidal Dearterilisation 	one size only	$725.00	$980.00

and Pexis System

N Stenning  & Co Pty  Ltd

NG023	Hemoclip Plus 	Ligation System Small and Medium	15 small preloaded clips and 20 	$250.00	Temporary Approval

medium preloaded clips

NG042	Weck Hem-o-lok	Hem-o-lok Automatic Open Applier	15 Clips per applier	$230.00	Temporary approval

NG043	Weck Hem-o-lok	Hem-o-lok Automatic Endo Applier	15 Clips per applier	$309.00	Temporary approval

Olympus Australia

OL009	Rotatable Clip fixing device	Endoscopic Mechanical	Standard or long clip length, 9 	$145.00

or 11mm jaw opening

OL010	Ligation device	Disposable pre-assembled applier and 	Sheath Length 1650-2300mm	$145.00

ligating loop

Sole Health Care Products Pty Ltd

PS001	Linear Stapler	Single use surgical stapler preloaded with 	30mm (4.5mm & 3.8mm), 	$320.00

titanium staples.	45mm (4.5mm & 3.8mm),

60mm (4.5mm & 3.8mm),

75mm (4.5mm & 3.8mm) and

90mm (4.5mm & 3.8mm)

Prostheses List by Category, Groups and Sponsor	Page 109 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PS003	Hemorrhoid Stapler	Surgical Hemorrhoidal Circular Stapler 	32mm (3.8mm), 34mm (3.8mm	$680.00

with staple leg lengths specifically 	 & 4.5mm), 36mm (4.0mm &

designed to perform Stapled

Hemorrhoidectomies and Stapled

Transanal Rectal Resection (S.T.A.R.R)

PS004	Circular Stapler	Surgical Circular Stapler pre loaded with 	21mm (4.2mm), 24mm 	$625.00

titanium staples used to anastomose 	(4.5mm), 26mm (4.5mm),

29mm (4.8mm), 32mm

(5.0mm), and 34mm (5.0mm)

PS005	Linear Cutter	Single use surgical stapler and cutter pre 	55mm (3.85mm), 55mm 	$364.00

loaded with titantium staples.	(4.5mm), 75mm (3.85mm),

75mm (4.5mm), 100mm

Tag Medical

TM049	Anastoclips	Vessel Closure System (VCS)	Small, Medium, Large, Extra 	$450.00

Endoscopic

Applied Medical Australia Pty Ltd

MH014	Direct Drive laparoscopic clip applier 	Single-use, sterile 10mm laparscopic clip 	10mm shaft diameter with 	$220.00

with TiGold titanium clips	applier with 20 medium-large size 	medium-large size clips.

titanium clips

Boston Scientific Australia Pty Ltd

BS082	Resolution Clip Device	Pre-loaded endoscopically applied clip, 	7Fr, 11mm jaw opening	$145.00

radiopaque stainless steel & cobalt

Johnson & Johnson Medical Pty Ltd

JJ568	Echelon Endocutter	Multifire disposable surgical stapling 	60mm and 45mm	$435.00	$618.00

insturment 60mm and 45mm

William A Cook Australia Pty Ltd

WC213	Endoscopic Clipping Device	TriClip Endoscopic Clipping Device	7Fr - 3 Prong 12mm, 8Fr - 3 	$145.00

prong 12mm

Endoscopic, medium

Applied Medical Australia Pty Ltd

MH008	Applied Medical Laparoscopic Clip 	Disposable Clip Applier made from 	Medium - large - 20 clips per 	$200.00	Temporary Approval, pending

Applier - Disposable Cartridge - CA001 	polycarbonate, nylon, stainless steel, 	review of product group

Box of 10	liquid crystal polymer, bone wax, titanium

clip.  The disposable cartridge is used in

conjunction with a reuseable handle.

Prostheses List by Category, Groups and Sponsor	Page 110 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.2.2 Ligating clips without disposable applier

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS001	Endoclip Disposable Loading Unit; 	Single use loading unit with 8 titanium 	One size only	$42.00	$69.00	Temporary Approval

MultApplier Disposable loading unit.	clips; Disposable clip cartridge with 8

AS012	GIA* Reloading Unit 	Titanium. Multifire 60 Cartridge, 90 	50-60mm (2.5, 3.8mm)	$240.00	Temporary Approval

Premium Disposable Loading Unit with

Titanium Staples,  50 Premium

Disposable Loading Unit with Titanium

Staples, Inverted Linear Anastomosis

Cartridges 3944, 3943, 3978, 3946, 3945,

AS013	ILA* 52 Reloading Unit	Titanium. Multifire 60 Cartridge 90 	50 - 60mm (2.5mm, 3.8mm)	$160.00	Temporary Approval

Premium Disposable Loading Unit with

Titanium Staples,  50 Premium

Disposable Loading Unit with Titanium

Staple,  Inverted Linear Anastomosis

Cartridges 3944, 3943, 3978, 3946, 3945,

AS016	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge,  	90mm (3.8, 4.8mm)	$400.00	$503.00	Temporary Approval

Inverted Linear Anastomosis Cartridges

3944, 3943, 3978, 3946, 3945, 3976, 3977

AS017	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge, Inverted	100mm (3.8,4.8mm)	$400.00	Temporary Approval

Linear Anastomosis Cartridges 3944,

3943, 3978, 3946, 3945, 3976, 3977

AS025	TA* Reloading Units; DST Series* 	Premium Multifire TA* Disposable 	30mm (2.5, 3.5, 4.8mm); DST 	$245.00	Temporary Approval

Linear Stapler Disposable Loading Units	Surgical Stapler and Loading Unit; 	TA90-3.5 DLU; DST TA90-4.8

Titanium staples used for hemostatic 	DLU; DST TA45-3.5 DLU;

closure of specific organs and blood 	DST TA45-4.8 DLU; DST

vessels (ex bowel, stomach and lung)	TA60-3.5 DLU; DST TA60-4.8

DLU; DST TA30-3.5 DLU;

DST TA30-4.8 DLU; DST

AS026	PI*, Reloading Unit	Premium Multifire TA* Disposable 	30mm (2.5, 3.5, 4.8mm)	$160.00	Temporary Approval

Surgical Stapler and Loading Unit

AS033	Power Stapler and Staples (Powered 	LDS Instrument & Cartridges 	One size only	$355.00	Temporary Approval

(Disposable Loading Unit)

AS076	ENDO TA* reloading unit	Titanium Surgical Stapler DLU	30mm -2.5, 30mm-3.5	$200.00	Temporary Approval

AS081	ENDO GIA* reloading unit	Titanium Surgical Stapler DLU	30 - 35mm; 45mm; 60mm.	$250.00	Temporary Approval

AS091	VERSA TACK* stapler	Titanium Surgical Stapler	4, 4.8mm (10 staples)	$272.00	Temporary Approval

Prostheses List by Category, Groups and Sponsor	Page 111 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AS092	ENDO - Herna reloading unit; VERSA 	Titanium Surgical Stapler DLU	4mm, 4.8mm (10 staples).	$160.00	Temporary Approval

TACK* reloading unit.

AS102	DST Series* Linear Staplers	Titanium staples used for hemostatic 	DST TA90-3.5; DST TA90-4.8	$355.00	$398.00	Temporary approval

closure of specific organs and blod

vessels (ex bowel, stomach and lung)

AS114	DST Series* GIA* Linear Cutter Stapler	Single Use Loading Units	60mm length: Sizes 2.5mm, 	$240.00	Temporary approval, pending

and single use loading units	3.8mm, 4.8mm	review of product group

AS116	DST Series* GIA* Linear Cutter Stapler	Single Use Loading Units	80mm length: Sizes 3.8 and 	$355.00	$367.00	Temporary approval, pending

and single use loading units	review of product group

AS117	DST Series* GIA* Linear Cutter Stapler	Single use, reloadable stapler	100mm length: Sizes 3.8 and 	$460.00	Temporary approval, pending

and single use loading units	4.8mm	review of product group

AS118	DST Series* GIA* Linear Cutter Stapler	Single use loading units	100mm length: Size 3.8 and 	$335.00	Temporary approval, pending

and single use loading units	review of product group

AS177	Duet TRS Reload with Tissue 	Single use loading units with tissue 	45mm and 60mm staple line 	$456.00

Reinforcement	reinforcement material for use with Endo 	length; 3.5mm and 4.8mm staple

GIA Universal stapling devices	 leg-length

B Braun Australia Pty Ltd

BB294	Aesculap Ligating Clips	Aesculap Ligating Clips- Ligation Clips 	PL561T- Large	$12.00

Titanium;

BB297	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL565T - Small	$10.00

BB298	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL566T - small cardiopack of 	$35.00

BB299	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL567T - medium	$12.00

BB300	Aesculap Ligating Clips	Aesculap Ligating Clips Titanium	PL568T - medium/large	$12.00

BB301	Challenger Ligating Clips	Challenger Ligating Clips Titanium 	PL572 - small/medium	$70.00

BB321	Pneumatic Challenger Multifire Clips	Challenger TI-P SM-Ligat. Clips 12 	small-medium, medium-large	$75.00

Cartridge (PL574T)  Challenger TI-P

ML-Ligat. Clips 12 Cartridge (PL579T)

C. R. Kennedy

CK001	Microline Pentax Disposable 10ml 	Disposable cartridge containing 19 	medium/large clip	$109.00

Titanium K2 Clip Cartridge	surgical grade titanium clips delivered

using a re-usable hand piece applier

CK002	Microline Pentax Disposable 10ml 	Disposable cartridge containing 10 	Medium/Large Clip	$88.00

Titanium K2 clip Cartridge	surgical grade titanium clips delivered

using a reusable hand piece applier.

Prostheses List by Category, Groups and Sponsor	Page 112 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CK004	System: Microline Pentax Reposable 	Disposable cartidge, containing 18 large 	Large clip - 10mm clip applier	$150.00

"Gemini-L Clip Applier"	surgical grade titanium clips delivered

using a re-usable hand piece applier

Johnson & Johnson Medical Pty Ltd

JJ033	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic 	3-5mm; 6 clips per cartridge	$12.00	Temporary Approval

JJ034	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic 	9-12 mm; 6 clips per cartage	$12.00	$17.00	Temporary Approval

JJ035	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic 	3-5 mm; 20 clips per cartridge	$25.00	$32.00	Temporary Approval

JJ040	Ligaclip* 20/20 Reload Unit	Metal reload cartridge containing titanium 	5 mm; 20 clips	$25.00	$104.00	Temporary Approval

clips

JJ046	Proximate* Linear Cutter  Staple Reload 	Plastic linear cutter reload cartridge 	50 - 60mm	$242.00	Temporary Approval

Unit 	containing titanium staples

JJ047	Proximate* Linear Cutter  Staple Reload 	Plastic linear cutter reload cartridge 	75 - 80mm	$335.00	$341.00	Temporary Approval

Unit 	containing titanium staples

JJ048	Proximate* Linear Cutter Staple Reload 	Plastic linear cutter reload cartridge 	100mm	$335.00	$348.00	Temporary Approval

containing titanium staples

JJ053	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge 	30mm	$240.00	Temporary Approval

containing titanium staples

JJ054	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge 	55 - 60mm	$240.00	Temporary Approval

containing titanium staples

JJ055	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge 	90mm	$240.00	$257.00	Temporary Approval

containing titanium staples

JJ190	Endopath ETS Linear Cutter reload	Titanium staple cartridge	45mm	$250.00	Temporary Approval

JJ192	Endopath ETS Linear Cutter reload	Titanium staple cartridge	35mm	$250.00	Temporary Approval

JJ475	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 	Blue (3.85mm) & Green 	$240.00	$263.00	Only to be funded where used in

40mm reload cartridges	a service for which a Medicare

Benefit is payable

LMT Surgical Pty Ltd

LM042	Synovis Microclip	Malleable titanium clip	One size only	$25.00	Temporary approval, pending

review of product group

Prostheses List by Category, Groups and Sponsor	Page 113 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Med-Chem Surgical Pty Ltd

ML007	Touchstone Linear Cutter Stapler 	A disposable staple cartridge used in 	60mm length in staple line with 	$250.00

Cartridge (Reloads) 60mm	conjunction with a matched Touchstone 	choice of 2.5mm, 3.8mm and

Linear Cutter Stapler that lays a double 	4.5mm titanium staples

staggered row of staples on each side a

cutting knife.  Used for extensive bowel,

gastric, gynaecological and thoracic

surgical stapling procedures.

ML008	Touchstone Linear Cutter Stapler 	A disposable staple cartridge used in 	80mm length in staple line with 	$280.00

Cartridge (Reloads) 80mm	conjunction with a matched Touchstone 	choice of 3.8mm and 4.5mm

Linear Cutter Stapler that lays a double 	titanium staples

staggered row of staples on each side a

cutting knife.  Used for extensive bowel,

gastric, gynaecological and thoracic

surgical stapling procedures.

ML009	Touchstone Linear Cutter Stapler 	A disposable staple cartridge used in 	100mm length in staple line with	$280.00

Cartridge (Reloads) 100mm	conjunction with a matched Touchstone 	 choice of 3.8mm and 4.5mm

Linear Cutter Stapler that lays a double 	titanium staples

staggered row of staples on each side a

cutting knife.  Used for extensive bowel,

gastric, gynaecological and thoracic

surgical stapling procedures.

ML010	Touchstone Linear Stapler Cartridge	A device housing a staple cartridge that 	30, 45, 60 and 90mm staple 	$210.00

places a double staggered row of staples 	lines in 2.5, 3.5 or 4.8mm staples

into appropriate target tissue.

N Stenning  & Co Pty  Ltd

NG006	Horizon Ligating Clips  	Ligation Clips Titanium 	Small (6 per cartridge)  	$12.00	Temporary Approval

NG007	Horizon Ligating Clips  	Ligation Clips Titanium 	Small  (24 per cartridge)	$42.00	Temporary Approval

NG008	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium (6 per cartridge), Micro	$12.00	Temporary Approval

(6 per cartridge)

NG009	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium  (24 per cartridge)	$42.00	Temporary Approval

NG010	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (6 per cartridge)	$12.00	$18.00	Temporary Approval

NG011	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (24 per cartridge)	$42.00	$47.00	Temporary Approval

NG012	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (6 per cartridge)	$12.00	$22.00	Temporary Approval

NG013	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (24 per cartridge)	$43.00	$57.00	Temporary Approval

NG014	Hemoclip 	Titanium Clips	Small, Medium (25 per 	$25.00	$31.00	Temporary Approval

cartridge); Large (15 per

Prostheses List by Category, Groups and Sponsor	Page 114 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NG016	Hemoclip 	Titanium Clips	Medium  (10 per cartridge) 	$18.00	Temporary Approval

NG017	Hemoclip 	Titanium Clips	Small (10 per cartridge) 	$18.00	Temporary Approval

NG018	Hemoclip  	Titanium Clips	Med-large (10 per cartridge) 	$18.00	Temporary Approval

NG019	Hemoclip 	Titanium Clips	Large (10 per cartridge) 	$20.00	$21.00	Temporary Approval

NG020	EZLoad Ligating Clips  	Titanium Clip 	Small (25 per cartridge); Med-	$20.00	$27.00	Temporary Approval

Large, Large (10 per cartridge)

NG021	EZLoad Ligating Clips  	Titanium Clip 	Medium (25 per cartridge) 	$42.00	Temporary Approval

NG022	EZLoad Ligating Clips  	Titanium Clip 	Small, Medium (10 per 	$18.00	$34.00	Temporary Approval

NG025	Hem-o-Lok Polymer Non-Absorbable 	Hem-o-lok Medium (M), Medium-Large 	Small, Medium, Medium-Large, 	$42.00	$46.00	Temporary Approval

Ligating Clip	(ML) and Large (L) Polymer Clips	Large

NG044	Hem-o-lok Polymer Non-Absorbable 	Hem-o-lok Extra-large (XL) Polymer 	Extra-large (XL)	$45.00	$62.00

Ligating Clip

Olympus Australia

OL001	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 	MD-59 - 90 degree, standard; 	$12.00	Temporary Approval

MD-850 - 135 degree, standard;

HX-600-090 - standard, sterile;

HX-600-135 - standard, sterile

OL002	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 	MH-858 - 90 degree, long. MH-	$12.00	Temporary Approval

859 - 90 degree, short. MAJ-

458 - 90 degree, short. MAJ-

459 -135 degree, short.

OL006	Individual Ligating Clip	Ligating Device - loops. Pack of 10 	MAJ-254-30mm loop;  MAJ-	$18.00	Temporary Approval

339- 13mm loop; MAJ-340 -20

Sole Health Care Products Pty Ltd

PS002	Linear Stapler Cartridge	Reloading cartridge containing titanium 	30mm (3.8mm & 4.5mm), 	$56.00

staples for use with the Linear Stapler	45mm (3.8mm & 4.5mm),

60mm (3.8mm & 4.5mm),

75mm (3.8mm & 4.5mm) and

90mm (3.8mm & 4.5mm)

PS006	Linear Cutter Cartridge	Reloading cartridge containing titanium 	55mm (3.85mm & 4.5mm), 	$160.00

staples for use with the Linear Cutter.	75mm (3.85mm & 4.5mm) and

100mm (3.85mm & 4.5mm).

Prostheses List by Category, Groups and Sponsor	Page 115 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Bariatric

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS030	TA* Reloading Units	Premium Multifire TA* Disposable 	90mm (3.5mm, 4.8mm)	$724.00	Temporary Approval

Surgical Stapler and Loading Unit

Resorbable

Johnson & Johnson Medical Pty Ltd

JJ036	Absolok* Extra Absorbable Ligating 	Polydioxanone clips contained in a plastic 	Small to Extralarge	$90.00	$94.00	Temporary Approval

cartridge

3.8.2.3 Ligating clips with disposable applier, open surgical

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS046	Endo GIA* Universal Stapling System; 	Multifire 30 disposable stapler with 	12mm; One size only.	$415.00	Temporary Approval

Versafire GIA*.	titanium staples; Disposable surgical

stapling instruments or cartridges.

AS135	DST™ Series EEA™ XL	Circular Stapler	5 sizes	$780.00

ConMed Linvatec Australia Pty Ltd

LV081	Open Clip Applier	Titanium	25 medium size titanium clips	$158.00	Temporary approval

Endoscopic

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS137	Endo Clip III	Laparoscopic 5mm Clip Applier	5mm	$435.00

3.8.3 Mesh, Soft Tissue Closure, Non-metallic, Polypropylene,

3.8.3.1  0-100scm  polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC009	Atrium polypropolene mesh - surgical 	Polypropolene - Pre-shaped with hole	6.5 x 12.5cm	$77.00	$200.00

AC010	Atrium polypropolene mesh - surgical 	Polypropolene	5 x 10cm	$77.00	$82.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS055	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; 	7.6cm x 12.7cm Surgipro* 	$77.00	* Trademark of United States

Polyproplylene.	Monofilament Polypropylene.	mesh (3 x 5 inch)	Surgical Corporation

AS057	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; 	2.5cm x 10.2cm Surgipro* 	$77.00	* Trademark of United States

Polyproplylene.	Monofilament Polypropylene.	mesh (1 x 4 inch)	Surgical Corporation

Prostheses List by Category, Groups and Sponsor	Page 116 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AS174	Parietene-Monofiliment Polypropylene 	Parietene-Monofiliment Polypropylene 	6 x 11cm, 15 x 10, 15 x 15cm	$77.00

Mesh	standard mesh/light mesh

B Braun Australia Pty Ltd

BB088	Premilene Mesh	Polypropylene	3x10cm	$77.00

BB089	Premilene Mesh	Polypropylene	4.5x10cm	$77.00

BB090	Premilene Mesh	Polypropylene	4.5x10cm	$77.00

BB091	Premilene Mesh	Polypropylene	4.5x10cm	$77.00

BB093	Premilene Mesh	Polypropylene	6x14cm	$77.00

BB094	Premilene Mesh	Polypropylene	6x13.5cm	$77.00

BB095	Premilene Mesh	Polypropylene	7.5x7.5cm	$77.00

BB096	Premilene Mesh	Polypropylene	4.5x105cm	$77.00

BB098	Premilene Mesh	Polypropylene	10x10cm	$77.00

BB099	Premilene Mesh	Polypropylene	6x14cm	$77.00

BB183	OPTILENE MESH	Polypropylene Mesh	7.5x7.5cm, 5 pieces	$77.00

BB186	OPTILENE MESH	Polypropylene Mesh	5 x 10cm, 5 pieces	$77.00

BB188	OPTILENE MESH	Polypropylene Mesh	4.5x10cm, 5 pieces	$77.00

BB190	OPTILENE MESH	Polypropylene Mesh	4.5x10cm	$77.00

BB191	OPTILENE MESH	Polypropylene Mesh	6x14cm, 5 pieces	$77.00

Bard Australia Pty Ltd

BA070	Bard Mesh  	Flat mesh	Small - 1" x 4" / 2" x 4" / 2" x 	$77.00

12" / 3 " x 6" / Pre-shaped 1.8"

x 4" / Pre-shaped 2.4" x 5.4"

EMT Healthcare Pty Ltd

EM023	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh 	2.3 x 10cm	$77.00

for laproscopic and open surgical

EM024	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh 	5 x 10cm	$77.00

for laproscopic and open surgical

Johnson & Johnson Medical Pty Ltd

JJ174	Prolene Mesh 	Small polypropylene monofilament non 	2.5cm x 10cm	$77.00	$80.00

absorbable mesh

JJ177	Prolene Mesh	Small keyhole polypropylene 	4.6cm x 10.2cm	$77.00	$165.00

monofilament non absorbable mesh

Prostheses List by Category, Groups and Sponsor	Page 117 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ178	Prolene Mesh	Large keyhole polypropylene 	6cm  x 13.7cm	$77.00	$120.00

monofilament non absorbable mesh

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG001	Aspide Surgimesh	Monofilament polypropylene	6x11cm thread 0.14mm 	$77.00

MG004	Aspide Surgimesh	Monofilament polypropylene	8 x 12cm Thread 0.14mm	$77.00

MG008	Aspide Surgimesh	Monofilament polypropylene	Easyplug Large	$77.00	$130.00

MG009	Aspide Surgimesh	Monofilament polypropylene	Easyplug Medium	$77.00	$130.00

MG010	Aspide Surgimesh	Monofilament polypropylene	Easyplug Small	$77.00	$130.00

3DC

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS124	Parietene-Monofilament Polypropylene 	Parietene-Monofilament Polypropylene 	06 x 12 cm	$263.00

mesh	mesh Plug and Patch

AS130	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh Plug	6 cm, 8 cm	$263.00

AS167	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh 	13 x 09 cms, 14 x 09 cms	$205.00

Three-dimensional/Ease Grip, with Slit

Bard Australia Pty Ltd

BA061	Bard Mesh 	PerFix Plug	Small, Medium, Large	$263.00

BA071	Bard Mesh  	3D Mesh 	Large Left	$263.00

BA072	Bard Mesh  	3D Mesh 	Medium Left	$263.00

BA073	Bard Mesh  	3D Mesh 	Large Right	$263.00

BA074	Bard Mesh  	3D Mesh 	Medium Right	$263.00

Johnson & Johnson Medical Pty Ltd

JJ180	Prolene Hernia System	BI-LAYER POLYPROPYLENE NON 	MEDIUM TO EXTENDED	$263.00	$268.00

ABSORBABLE

JJ413	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device 	5.49cm x 12.50cm 3DPatch 	$263.00	$280.00

consisting of a flat mesh onlay patch 	large with preshaped overlay

secured to a formed expandable diamond-

shaped mesh patch component.

JJ414	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device 	5.49cm x 12.50cm 3D Patch 	$263.00	$280.00

consisting of a flat mesh onlay patch 	with medium preshaped overlay

secured to a formed expandable diamond-

shaped mesh patch component.

Prostheses List by Category, Groups and Sponsor	Page 118 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ415	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device 	5.49cm x 12.50cm 3D Patch 	$263.00	$280.00

consisting of a flat mesh onlay patch 	medium with extended overlay

secured to a formed expandable diamond-

shaped mesh patch component.

JJ416	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device 	5.49cm x 12.50cm 3D Patch 	$263.00	$280.00

consisting of a flat mesh onlay patch 	large with extended overlay

secured to a formed expandable diamond-

shaped mesh patch component.

3DC, L

Atrium Australia - Pacific Rim Pty Limited

AC011	Atrium polypropolene mesh - surgical 	Polypropolene mesh plug	Small, Medium, Large and Extra	$350.00

Large

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS068	Surgipro Non Absorbable Polypropylene	Polypropylene	Medium and Large	$69.00

Hernia Mate Plug System

Bard Australia Pty Ltd

BA083	Bard Mesh  	Kugel Patch	Small Oval 8 x 12cm	$350.00

BA085	Bard Mesh  	Kugel Patch	Small Circle 8 x 8cm	$350.00

BA132	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is 	7.5 cm (3") diameter	$350.00

a self-expanding, non-absorbable, sterile

prosthesis.  It consists of two layers of

monofilament, polypropylene mesh; an

extruded monofilament PET polymer

"ring" provides memory, adds stability to

the device.  The p

BA133	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is 	10 cm (4") diameter	$350.00

a self-expanding, non-absorbable, sterile

prosthesis.  It consists of two layers of

monofilament, polypropylene mesh; an

extruded monofilament PET polymer

"ring" provides memory, adds stability to

the device.  The p

Prostheses List by Category, Groups and Sponsor	Page 119 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA134	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is 	11.5 cm (4.5") diameter	$350.00

a self-expanding, non-absorbable, sterile

prosthesis.  It consists of two layers of

monofilament, polypropylene mesh; an

extruded monofilament PET polymer

"ring" provides memory, adds stability to

the device.  The p

L

B Braun Australia Pty Ltd

BB104	Premilene Mesh	Self Forming Plug	All sizes, small, medium, large	$226.00

BB192	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-Small, 5 	$226.00

Surgical Suture Material Low Profile.

BB193	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-Medium, 5 	$226.00

Surgical Suture Material Low Profile.	pieces

BB195	OPTILENE MESH	Polypropylene Mesh	Self-Forming Plug-Large, 5 	$226.00

3.8.3.2  101-200scm polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC005	Atrium polypropolene mesh - surgical 	Polypropolene	7.5 x 15cm	$85.00	$120.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS168	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Folding 	14x10cms	$85.00	$205.00

Mesh/Bidimensional with integrated

folding system with slit

AS172	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; 	15.3cm x 15.3cm Surgipro* 	$85.00	* Trademark of United States

Polyproplylene; SURGIPRO* Non 	Monofilament Polypropylene; 	mesh (6 x 6 inch); SPMM46: 	Surgical Corporation

Absorbable Monofilament Polypropylene	SURGIPRO, Non-Asborbable 	10.2cm x 15.3cm (4 x 6 inch).

Mesh

AS175	Parietene-Monofiliment Polypropylene 	Parietene-Monofiliment Polypropylene 	15 x 10cm	$85.00

Mesh	standard mesh/light mesh

B Braun Australia Pty Ltd

BB092	Premilene Mesh	Polypropylene	5x30cm	$85.00

BB097	Premilene Mesh	Polypropylene	7.5x15cm	$85.00

BB100	Premilene Mesh	Polypropylene	10x15cm	$85.00

BB181	OPTILENE MESH	Polypropylene Mesh	5x30cm, 5 pieces	$85.00

BB187	OPTILENE MESH	Polypropylene Mesh	10 x 15cm, 5 pieces	$85.00

Prostheses List by Category, Groups and Sponsor	Page 120 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BB189	OPTILENE MESH	 Polypropylene Mesh.	7.5 x 15cm, 5 pieces	$85.00

EMT Healthcare Pty Ltd

EM021	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh 	8 x 13cm	$85.00

for laproscopic and open surgical

EM025	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh 	7 x 15cm, 10 x 15cm	$85.00

for laproscopic and open surgical

Johnson & Johnson Medical Pty Ltd

JJ175	Prolene Mesh	Medium polypropylene monofilament non	7.6cm x 15cm	$85.00

absorbable mesh

JJ566	PROLENE Mesh	Polypropylene Mesh	10 x 15cm	$85.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG005	Aspide Surgimesh	Monofilament polypropylene	10 x 13cm Thread 0.14mm	$85.00	$120.00

MG006	Aspide Surgimesh	Monofilament polypropylene	10 x 15cm Thread 0.14mm	$85.00	$120.00

3DC

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS128	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester 	13 x 09 cm, 15 x 10 cm, 16 x 	$205.00

Anatomical Mesh Standard / With Slit and

Folding / With Slit and No Touch

AS164	Parietex Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard 	13 x 09 cms, 15 x 10 cms	$205.00

Mesh/Bidimensional rigid, Three

AS166	Parietex Multifilament PolyesterMesh	Parietex-Multifilament Polyester 	12 x 08 cms	$263.00

Preshaped Mesh Three-dimensional/Ease

AS169	Parietex Multifilament Polyester Mesh 	Parietex-Multifilament Polyester 	14x10cms	$205.00

Anatomical	Anatomical Mesh/Bidimensional/Three

dimensional with integreated folding

3DC, L

Bard Australia Pty Ltd

BA086	Bard Mesh  	Kugel Patch	Large Circle 12 x 12cm	$460.00

BA087	Bard Mesh  	Kugel Patch	Medium Oval 11 x 14cm	$460.00

L

B Braun Australia Pty Ltd

BB194	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-Large, 5 	$250.00

Surgical Suture Material Low Profile.

Prostheses List by Category, Groups and Sponsor	Page 121 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.3.2.1  0-100scm PTFE/ePTFE

CB

W L Gore & Associates

GT229	GORE INFINIT Mesh	Gore Infinit Mesh	6.5cm x 13cm	$206.00

3.8.3.2.2  101-200scm PTFE/ePTFE

CB

W L Gore & Associates

GT231	GORE INFINIT Mesh	Gore Infinit Mesh	7.5cm x 15cm; 10cm x 15cm; 	$310.00

5cm x 30cm

3.8.3.2.3  201-300scm PTFE/ePTFE

CB

W L Gore & Associates

GT230	GORE INFINIT Mesh	Gore Infinit Mesh	15cm x 15cm	$420.00

3.8.3.3  201-300scm polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC007	Atrium polypropolene mesh - surgical 	Polypropolene	15cm x 15cm	$85.00	$140.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS173	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; 	15.3cm x 15.3cm Surgipro* 	$85.00	* Trademark of United States

Polyproplylene; SURGIPRO* Non 	Monofilament Polypropylene; 	mesh (6 x 6 inch)	Surgical Corporation

Absorbable Monofilament Polypropylene	SURGIPRO, Non-Asborbable

Mesh

AS176	Parietene-Monofilament Polypropylene 	Parietene-Monofilament Polypropylene 	15 x 15cm	$85.00

Mesh	standard mesh/light mesh

B Braun Australia Pty Ltd

BB101	Premilene Mesh	Polypropylene	15x15cm	$85.00

BB184	OPTILENE MESH	Polypropylene Mesh	15x15cm, 5 pieces	$85.00

Bard Australia Pty Ltd

BA157	Bard Mesh	Flat Mesh	Medium - 6" x 6"	$85.00

EMT Healthcare Pty Ltd

EM015	BIOMESH HERNIA REINFORCING 	Laparoscopic Hernia Repair Kit with 	EMT-KIT2BT2PMX2 (bilateral)	$85.00

MESH KIT	15cm x 15cm mesh

Prostheses List by Category, Groups and Sponsor	Page 122 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

EM016	BIOMESH HERNIA REINFORCING 	Laparoscopic Hernia Repair Kit with 	EMT -KIT2NM (Unilateral)	$85.00

MESH KIT	15cm x 15cm mesh

EM022	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh 	15 x 15cm	$85.00

for laproscopic and open surgical

Johnson & Johnson Medical Pty Ltd

JJ222	Prolene Mesh - medium	Constructed of knitted filaments of 	Medium - 6" x 6"	$85.00	$120.00

extruded polypropylene identical to that

used in Prolene suture.  Material is

approx. 0.027mm thick.  Non-absorbable

mesh for tension free-inguinal hernia

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG007	Aspide Surgimesh	Monofilament polypropylene	15 x 15cm Thread 0.14mm	$85.00

3DC

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS165	Parietex Multifilament Polyester Mesh 	Parietex-Multifilament Polyester Standard 	15 x 15 cms	$300.00

Anatomical	Mesh/Bidimensional Rigid, Three

Bard Australia Pty Ltd

BA138	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile 	Extra Large Left 5" x 7"	$300.00

prosthesis constructed of monofilament

polypropylene mesh. 3DMax mesh is a

three-dimensional, anatomically formed

prosthesis for use in laparoscopic hernia

BA139	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile 	Extra Large Right 5" x 7"	$300.00

prosthesis constructed of monofilament

polypropylene mesh. 3DMax mesh is a

three-dimensional, anatomically formed

prosthesis for use in laparoscopic hernia

3DC, L

Bard Australia Pty Ltd

BA084	Bard Mesh  	Kugel Patch	Large Oval 14 x 18cm	$555.00

3.8.3.4  301-400scm polypropylene, polyester

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS122	Parietene-Monofilament Polypropylene 	Parietene-Monofilament Polypropylene 	20 x 20 cm	$229.00

mesh	standard mesh / light mesh

Prostheses List by Category, Groups and Sponsor	Page 123 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AS170	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard 	20 x 20cm	$229.00

Mesh/Bi-dimensional, Bi-dimensional

Rigid, Three dimensional

3.8.3.4.1  0-100scm Composite

3DC, PA

Atrium Australia - Pacific Rim Pty Limited

AC039	C-QUR Mesh Plug	Sterile, knitted polypropylene 	small, medium	$275.00	$1,095.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

Johnson & Johnson Medical Pty Ltd

JJ602	ULTRAPRO Plug	Partially Absorbable Synthetic Surgical 	Small- Onlay patch plug: 12cm x	$275.00

Mesh Device	 7.5cm, 5cm rim diameter, 3cm

anchor diameter; Medium-

Onlay patch plug: 12cm x

7.5cm, 5cm rim diameter, 4cm

anchor diameter; Large- Onlay

patch plug: 12cm x 7.5cm, 5cm

rim diameter, 5cm anchor

PA

Atrium Australia - Pacific Rim Pty Limited

AC031	C-QUR Mesh	Sterile, knitted polypropylene 	0 - 100 sq cm	$95.00	$495.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

3.8.3.4.2  101-200scm Composite

3DC, PA

Atrium Australia - Pacific Rim Pty Limited

AC040	C-QUR Mesh Plug	Sterile, knitted polypropylene 	large and extra large	$275.00	$1,360.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

Prostheses List by Category, Groups and Sponsor	Page 124 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PA

Atrium Australia - Pacific Rim Pty Limited

AC032	C-QUR Mesh	Sterile, knitted polypropylene 	101 - 200 sq cm	$120.00	$755.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

3.8.3.4.3  201-300scm Composite

PA

Atrium Australia - Pacific Rim Pty Limited

AC033	C-QUR Mesh	Sterile, knitted polypropylene 	201 - 300 sq cm	$152.00	$955.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

3.8.3.4.4  301-400scm Composite

PA

Atrium Australia - Pacific Rim Pty Limited

AC034	C-QUR Mesh	Sterile, knitted polypropylene 	301 - 400 sq cm	$200.00	$1,235.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

3.8.3.4.5  401-500scm Composite

PA

Atrium Australia - Pacific Rim Pty Limited

AC035	C-QUR Mesh	Sterile, knitted polypropylene 	401 - 500 sq cm	$220.00	$1,625.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

Prostheses List by Category, Groups and Sponsor	Page 125 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.3.4.6  501-600scm Composite

PA

Atrium Australia - Pacific Rim Pty Limited

AC036	C-QUR Mesh	Sterile, knitted polypropylene 	501 - 600 sq cm	$239.00	$1,960.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

3.8.3.4.7  >600scm Composite

PA

Atrium Australia - Pacific Rim Pty Limited

AC037	C-QUR Mesh	Sterile, knitted polypropylene 	601 - 1000 sq cm	$280.00	$2,965.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

AC038	C-QUR Mesh	Sterile, knitted polypropylene 	1000 sq cm +	$280.00	$3,775.00

monofilament mesh material for tissue

reinforcement with a coating derived

from a biological oil composed of fatty

acids, lipids and glycerides (BAO -

3.8.3.6  501-600scm polypropylene, polyester

B Braun Australia Pty Ltd

BB182	OPTILENE MESH	Polypropylene Mesh	20x30cm, 5 pieces	$229.00

3.8.3.7  >600scm polypropylene, polyester

Atrium Australia - Pacific Rim Pty Limited

AC006	Atrium polypropolene mesh - surgical 	Polypropolene	30 x 30cm	$229.00

AC008	Atrium polypropolene mesh - surgical 	Polypropolene	26 x 36cm	$229.00

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS056	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; 	35.6cm x 22.9cm Surgipro* 	$229.00	* Trademark of United States

Polyproplylene.	Monofilament Polypropylene.	mesh (14 x 9 inch).	Surgical Corporation

AS123	Parietene-Monofilament Polypropylene 	Parietene-Monofilament Polypropylene 	30 X 30 cm, 30 x 32 cm	$229.00

mesh	standard mesh / light mesh/ X-shaped

Prostheses List by Category, Groups and Sponsor	Page 126 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AS171	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard 	30 x 30cm	$229.00

Mesh/Bi-dimensional, Bi-dimensional

Rigid, Three dimensional

B Braun Australia Pty Ltd

BB102	Premilene Mesh	Polypropylene	26x36cm	$229.00

BB103	Premilene Mesh	Polypropylene	30x30cm	$229.00

BB185	OPTILENE MESH	Polypropylene Mesh	30x30cm, 5 pieces	$229.00

Bard Australia Pty Ltd

BA158	Bard Mesh	Flat Mesh	Large - 10" x 14"	$229.00

EMT Healthcare Pty Ltd

EM007	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh 	25 x 36cm; 30 x 30cm	$229.00

for laproscopic and open surgical

Johnson & Johnson Medical Pty Ltd

JJ172	Mersilene Mesh	Non-absorbable polyester mesh	30cm x 30cm	$229.00	$275.00

JJ176	Prolene Mesh	Large polypropylene monofilament non 	30cm x 30cm	$229.00	$275.00

absorbable mesh

3.8.3.4. Mesh, soft tissue wound closure, non-metallic, Composite

3.8.3.4.1   Mesh, Composite, 0-100scm

L, PA, 3DC

Johnson & Johnson Medical Pty Ltd

JJ816	Proceed™ Ventral Patch	3D, sterile, self expanding, partially 	medium (6.4cm x 6.4cm)	$390.00	$485.00

absorbable, flexible laminate mesh for

hernia or other abdominal, fascial defect

repair that require addition of a

reinforcing or bridging material to obtain

JJ817	Proceed™ Ventral Patch	3D, sterile, self expanding, partially 	small (4.3cm x 4.3cm)	$390.00	$485.00

absorbable, flexible laminate mesh for

hernia or other abdominal, fascial defect

repair that require addition of a

reinforcing or bridging material to obtain

Prostheses List by Category, Groups and Sponsor	Page 127 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.4 Mesh, Soft Tissue Closure, Non-metallic, PTFE/ePTFE

3.8.4.1 0-100scm, PTFE/ePTFE

W L Gore & Associates

GT065	Gore-Tex ePTFE Mycro-Mesh 	ePTFE	1mm Thickness 2.5 x 10cm	$206.00

GT066	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 5 x 10cm 	$206.00

(Rectangle), 5 x 10cm (Key

GT067	Gore-Tex Mycro-Mesh	ePTFE	1mm Thickness 5 x 13cm 	$206.00

(Configured for Vaginal

Prolapse), 5 x 15cm

GT074	Gore-Tex  Mycro-Mesh Biomaterial	Configured for Inguinal Hernia repair 	1mm Thickness 6cm x 12cm	$206.00

GT092	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 7.5 x 10cm	$206.00	$313.00

GT093	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 8 x 12cm	$206.00	$403.00

AM

W L Gore & Associates

GT104	Gore-Tex DualMesh PLUS  	ePTFE	1mm Thickness 7.5 x 10cm	$206.00	$390.00

GT201	Dualmesh Plus Biomaterial	ePTFE	8cm x 12cm x 1mm	$206.00	$390.00

L

Bard Australia Pty Ltd

BA160	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one	7cm x 6cm Small	$350.00

side and ePTFE mesh on the other side

BA161	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one	11cm x 8cm Large	$350.00

side and ePTFE mesh on the other side

3.8.4.2 101-200scm, PTFE/ePTFE

W L Gore & Associates

GT071	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 10 x 15cm	$310.00

GT094	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 10 x 15cm	$310.00	$605.00

GT099	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 10 x 15cm	$310.00	$923.00

AM

W L Gore & Associates

GT202	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 1mm	$310.00	$633.00

Prostheses List by Category, Groups and Sponsor	Page 128 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT206	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 2mm	$310.00	$1,020.00

3.8.4.3 201-300scm, PTFE/ePTFE

W L Gore & Associates

GT072	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 15 x 19cm	$420.00	$881.00

GT095	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 15.0 x 	$420.00	$1,040.00

GT100	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 15 x 19cm	$420.00	$1,846.00

AM

W L Gore & Associates

GT107	Gore-Tex DualMesh PLUS  	ePTFE	15.0 x 19.0cm x 1mm Oval	$420.00	$1,167.00

GT207	Dualmesh Plus Biomaterial	ePTFE, oval	15cm x 19cm x 2mm	$420.00	$2,029.00

3.8.4.5 401-500scm, PTFE/ePTFE

W L Gore & Associates

GT068	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 18 x 24cm	$655.00	$1,288.00

GT096	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 18 x 24cm	$655.00	$1,622.00

GT101	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 18 x 24cm	$655.00	$2,430.00

AM

W L Gore & Associates

GT203	Dualmesh Plus Biomaterial	ePTFE	18cm x 24cm x 1mm	$655.00	$1,823.00

GT208	Dualmesh Plus Biomaterial	ePTFE,	18cm x 24cm x 2mm	$655.00	$2,952.00

3.8.4.6 501-600scm, PTFE/ePTFE

W L Gore & Associates

GT069	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 20 x 30cm	$755.00	$1,777.00

GT097	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 20 x 30cm	$755.00	$2,271.00

GT102	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 20 x 30cm	$755.00	$3,400.00

AM

W L Gore & Associates

GT084	Gore-Tex MycroMesh Plus 	ePTFE	1mm Thickness 20cm x 30	$755.00	$1,926.00

Prostheses List by Category, Groups and Sponsor	Page 129 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT204	Dualmesh Plus Biomaterial	ePTFE	20cm x 30cm x 1mm	$755.00	$2,544.00

GT209	Dualmesh Plus Biomaterial	ePTFE,	20cm x 30cm x 2mm	$755.00	$3,986.00

3.8.4.7 >600scm, PTFE/ePTFE

W L Gore & Associates

GT070	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 26 x 34cm	$855.00	$2,333.00

GT098	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 26 x 34cm	$855.00	$2,960.00

GT103	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 26 x 34cm	$855.00	$4,440.00

AM

W L Gore & Associates

GT087	Gore-Tex MycroMesh Plus 	ePTFE	1mm thickness Oval 26 x 34cm	$855.00	$2,536.00

GT205	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 1mm	$855.00	$3,373.00

GT210	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 2mm	$855.00	$5,192.00

3.8.5 Mesh, Soft Tissue Closure, Non-metallic, Absorbable

3.8.5.1 0-100scm, Absorbable

3DC, CB

William A Cook Australia Pty Ltd

WC243	Surgisis Biodesign Anal Fistula Plug	Surgisis Biodesign Anal Fistula Plug is a 	0.6cm Width Tapering to 0.2cm	$1,000.00

small intestine submucosal porcine 	 Width x 9.5cm Length. Conical

derived, rolled and shaped collagen 	Shape

matrix, non cross-linked, that signals the

body and provides support for native

tissue remodeling, healing and closure of

3.8.5.2 101-200scm, Absorbable

L, CB

William A Cook Australia Pty Ltd

WC242	Biodesign Surgisis Hernia Graft	Biodesign Hernia Graft is 8-layer 	13cm x 15cm	$696.00

perforated and quilted porcine sis collagen

matrix, non cross-linked, remodelable

and resorbable tissue graft

Prostheses List by Category, Groups and Sponsor	Page 130 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WC244	Biodesign Surgisis 8-layer Tissue Graft	Biodesign Surgisis 8-layer Tissue Graft is 	13cm x 15cm	$696.00

8 layers of compressed and perforated

porcine sis collagen matrix, non cross-

linked, remodelable and resorbable tissue

WC265	Biodesign Surgisis Inguinal Hernia Graft	Biodesign Surgisis Inguinal Hernia Graft 	10cm  x 15cm	$348.00	$400.00

is a biologically derived [porcine] sis

collagen, non cross-linked graft, that

remodels into strong host tissue

reinforcement for the inguinal floor

WC266	Biodesign Surgisis Inguinal Hernia Graft	Biodesign Surgisis Inguinal Hernia Graft 	8cm  x 15cm	$348.00	$400.00

is a biologically derived [porcine] sis

collagen, non cross-linked graft, that

remodels into strong host tissue

reinforcement for the inguinal floor

3.8.5.3 201-300scm, Absorbable

Johnson & Johnson Medical Pty Ltd

JJ173	VICRYL Mesh	Polyglactin 910 - synthetic absorbable 	15cm x 15cm	$87.00	$128.00

L, CB

William A Cook Australia Pty Ltd

WC247	Biodesign Surgisis 8-Layer Tissue Graft	Biodesign Surgisis 8-layer Tissue Graft is 	13cm x 22cm	$696.00	$1,286.00

8 layers of compressed and perforated

porcine sis collagen matrix, non cross-

linked, remodelable and resorbable tissue

WC249	Biodesign Surgisis Hernia Graft	Biodesign Hernia Graft is 8-layer 	13cm x 22cm	$696.00	$1,486.00

perforated and quilted porcine sis collagen

matrix, non cross-linked, remodelable

and resorbable tissue graft

3.8.5.4 301-400scm, Absorbable

Sherwood Davis & Geck

SG002	Dexon Mesh Danbury 7979-00	Beige polyglycolic acid absorbable 	18 x 23cm	$120.00

surgical mesh fabric

Prostheses List by Category, Groups and Sponsor	Page 131 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

L, CB

William A Cook Australia Pty Ltd

WC248	Biodesign Surgisis 8-Layer Tissue Graft	Biodesign Surgisis 8-layer Tissue Graft is 	20cm x 20cm	$960.00	$1,755.00

8 layers of compressed and perforated

porcine sis collagen matrix, non cross-

linked, remodelable and resorbable tissue

WC250	Biodesign Surgisis Hernia Graft	Biodesign Hernia Graft is 8-layer 	20cm x 20cm	$960.00	$1,955.00

perforated and quilted porcine sis collagen

matrix, non cross-linked, remodelable

and resorbable tissue graft

3.8.5.6 501-600scm, Absorbable

L, CB

William A Cook Australia Pty Ltd

WC251	Biodesign Surgisis  Hernia Graft	Biodesign Hernia Graft is 8-layer 	20cm x 30cm	$2,016.00	$3,450.00

perforated and quilted porcine sis collagen

matrix, non cross-linked, remodelable

and resorbable tissue graft

3.8.5.7 >600scm, Absorbable

Johnson & Johnson Medical Pty Ltd

JJ020	Vicryl Mesh	1 sheet/box	Large - 30cm x 30cm	$252.00	$285.00

Prostheses List by Category, Groups and Sponsor	Page 132 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.5 Tissue Adhesive, Internal

3.8.5.2.1 Extender

Baxter Healthcare Pty Ltd

BX279	Coseal Duplospray Applicator 30cm	COSEAL, which is listed on the 	30cm	$62.00

Prostheses List, is a hydrogel that acts as

a sealant by adhering to itself and the

tissues it contacts.  COSEAL is designed

to completely seal suture lines along

vascular reconstructions to prevent fluids

from leaking. This applicator is 30 cm

long, disposable, dual lumen device for

precise delivery of COSEAL (Surgical

Sealant). It attaches to the COSEAL

syringe (sold separately) and is connected

to a regulator (sold separately). It allows

for delivery of the sealant in the form of a

spray in laparoscopic or minimally

invasive procedures.

BX280	Coseal Duplospray Applicator 20cm	COSEAL, which is listed on the 	20 cm	$62.00

Protheses List, is a hydrogel that acts as a

sealant by adhering to itself and the

tissues it contacts. COSEAL is designed

to completely seal suture lines along

vascular reconstructions to prevent fluids

from leaking. This applicator is a 20 cm

long, disposable, dual lumen device

delivery of COSEAL (Surgical Sealant). It

attaches to the COSEAL syringe (sold

seperately) and is connected to a regular

(sold separately). It allows for delivery of

the sealant in the form of a spray in

laparoscopic or minimally invasive

3.8.5.2.2 Applicator Tip

10ml

Advanced Biomedical Pty Ltd

AB065	BioGlue Surgical Adhesive - Syringe 	Model No BGAT-RT-SY (BioGlue 	One size only	$62.00	$250.00

Rigid Applicator Tip 34cm	Surgical Adhesive)

Prostheses List by Category, Groups and Sponsor	Page 133 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.6 Mesh, Soft Tissue Closure, Non-metallic, Composite

3.8.6.1 0-100scm, Composite

3DC, L

Bard Australia Pty Ltd

BA096	Bard Composix Kugel Hernia Patch	Small Oval w/e PTFE	8 x 12 cms	$390.00

BA099	Bard Composix Kugel Hernia Patch	Small Circle w/e PTFE	8 x 8cms	$390.00

BA136	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-	4.3 cm x 4.3 cm (1.7" x 1.7")	$390.00

expanding, non-absorbable, sterile

prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament

PET polymer "ring" provides memory,

BA137	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-	6.4 cm x 6.4 cm (2.5" x  2.5")	$390.00

expanding, non-absorbable, sterile

prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament

PET polymer "ring" provides memory,

BA179	Bard Ventralex Hernia Patch	Bard Ventrlex Hernia Patch, Large	8cm x 8cm	$390.00

L

Bard Australia Pty Ltd

BA065	Bard Mesh  	Composix Ventral mesh	2" x 4"	$365.00

L, PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS139	Parietex Composite 9F	Dual sided polyester meshes with a 	9cm round	$365.00	$450.00

resorbable adhesion-prevention

hydrophilic film

AS161	Parietene ProGrip Mesh (PRE-	Pre-Cut, slit mesh with self gripping 	12 x 8cm elliptic	$365.00	$450.00

overlapping flap - right or left

Johnson & Johnson Medical Pty Ltd

JJ446	PROCEED Surgical Mesh	PROCEED Surgical Mesh B1	2x4 (inches)	$365.00	$390.00

Prostheses List by Category, Groups and Sponsor	Page 134 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PA

Johnson & Johnson Medical Pty Ltd

JJ240	VYPRO II Mesh	Composition - equal part Vicryl 	Small 6 x 11cm	$95.00

polyglactin yarn - non-absorbable Prolene

polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal

JJ465	ULTRAPRO Mesh	ULTRAPRO Mesh S3	6 x 11cm	$95.00

Ti

Medical Specialties  Australia Pty Ltd

MS043	TiPLUG/TiPATCH System	Titanized polypropylene composite. 	TiPLUG	$95.00	$127.00

Prosthetic warp-knitted fabric made of

monofilament polypropylene threads with

an encapsulating titanic coating.

MS044	TiPLUG/TiPATCH System	Titanized polypropylene composite. 	TiPATCH	$95.00	$127.00

Prosthetic warp-knitted fabric made of

monofilament polypropylene threads with

an encapsulating titanic coating.

3.8.6.2 101-200scm, Composite

3DC

EMT Healthcare Pty Ltd

EM018	Abdominal Wall Reinforcement Implant	Polyester combined with polymerised 	12cm x 14cm & 12cm x 16cm	$275.00

EM019	BIOMESH HERNIA REINFORCING 	Laparoscopic Hernia Repair Kit with 	EMT-KIT2BT2PMX (Bilateral)	$275.00

MESH KIT	Shape Mesh

EM020	BIOMESH HERNIA REINFORCING 	Laparoscopic Hernia Repair Kit with  	EMT-KIT2NM (Unilateral)	$275.00

MESH KIT	Shape Mesh

3DC, L

Bard Australia Pty Ltd

BA097	Bard Composix Kugel Hernia Patch	Medium Oval w/e PTFE	11 x 14 cms	$690.00

BA100	Bard Composix Kugel Hernia Patch	Large Circle w/e PTFE	12 x 12cms	$690.00

BA162	Bard CK Parastomal Patch	Bard CK Parastomal Patch	12.5 x 15.5cm, 15.5 x 20.5cm	$690.00

3DC, PA

Johnson & Johnson Medical Pty Ltd

JJ585	Ultrapro Hernia System	Ultrapro Hernia System. Mesh Made 	Small to Large Oval	$275.00	$300.00

From Composite of Monocryl & Prolene

Prostheses List by Category, Groups and Sponsor	Page 135 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

L

Bard Australia Pty Ltd

BA066	Bard Mesh  	Composix Ventral mesh	3" x 6"	$436.00

BA067	Bard Mesh  	Composix Ventral mesh	4" x 8"	$436.00

BA101	Bard Composix E/X Mesh	Elliptical	4" x 6" (10 x 15cm)	$436.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG020	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra R 12.5cm, 15cm	$436.00	$875.00

L, PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS140	Parietex Composite 12F	Dual sided polyester meshes with a 	12cm round	$436.00	$550.00

resorbable adhesion-prevention

hydrophlic film

AS141	Parietex Composite 15F	Dual sided Polyester meshes with a 	15cm round	$436.00	$650.00

resorbable adhesion-prevention

hydrophilic film

AS143	Parietex Composite 1510F	Dual sided polyester meshes with a 	15x10cm square	$436.00	$1,050.00

resorbable adhesion -prevention

hydrophilic film

AS148	Parietex Composite 1510OS	Dual sided polyester meshes with a 	15x10cm square	$436.00	$1,050.00

resorbable adhesion-prevention

hydrophilic film

AS151	Parietex Composite Hiatal Hernia Mesh	Composite Mesh	8x8cm, 9x8cm, 8.5x8cm	$436.00	$575.00

AS152	Parietene Composite 12	Dual sided polypropylene mesh with 	12cm round	$436.00	$550.00

resorbable adhesion-prevention

hydrophilic film

AS153	Parietene Composite 1510	Dual sided polypropylene mesh with 	15x10cm Square	$436.00	$1,050.00

resorbable adhesion-prevention

hydrophilic film

AS162	Parietene ProGrip Mesh (FLAT)	Mesh with self gripping FLAT	15 x 9cm RECTANGLE	$436.00	$500.00

Bard Australia Pty Ltd

BA186	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid 	3 x 6 inch	$436.00

Coating/Permanent Mesh	polymer mesh coated with a biopolymer:

a bioresorbable coating of modified

sodium hyaluronate,

carboxymethylcellulose & polyethylene

Prostheses List by Category, Groups and Sponsor	Page 136 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA187	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid 	4 x 8 inch	$436.00

Coating/Permanent Mesh	polymer mesh coated with a biopolymer:

a bioresorbable coating of modified

sodium hyaluronate,

carboxymethylcellulose & polyethylene

Johnson & Johnson Medical Pty Ltd

JJ447	PROCEED Surgical Mesh	PROCEED Surgical Mesh R1	3x6 inches	$436.00	$510.00

JJ448	PROCEED Surgical Mesh	PROCEED Surgical Mesh N1	4x6 inches oval	$436.00	$602.00

JJ449	PROCEED Surgical Mesh	PROCEED Surgical Mesh D1	4x8 inches	$436.00	$580.00

PA

Johnson & Johnson Medical Pty Ltd

JJ241	VYPRO II Mesh	Composition - equal part Vicryl 	Medium 12 x 10cm	$120.00	$135.00

polyglactin yarn - non-absorbable Prolene

polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal

JJ242	VYPRO II Mesh	Composition - equal part Vicryl 	Large 15 x 10cm	$120.00	$135.00

polyglactin yarn - non-absorbable Prolene

polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal

JJ466	ULTRAPRO Mesh	ULTRAPRO Mesh P3	10 x 12cm	$120.00	$135.00

JJ467	ULTRAPRO Mesh	ULTRAPRO Mesh N3	10 x 15cm	$120.00	$135.00

JJ565	ULTRAPRO Mesh	Composite Mesh	7.6cm x 15cm	$103.00

Ti

Medical Specialties  Australia Pty Ltd

MS030	TiMESH light	Prosthetic warp-knitted fabric made of 	10 x15 cm TiMESH light	$120.00	$240.00

monofil polypropylene threads with an

encapsulating titanic coating

MS032	TiMESH extralight	Prosthetic warp-knitted fabric made of 	10 x 15cm TiMESH extralight	$120.00	$240.00

monfil polypropylene threads with an

encapsulating titanic coating

3.8.6.3 201-300scm, Composite

3DC, L

Bard Australia Pty Ltd

BA098	Bard Composix Kugel Hernia Patch	Large Oval w/e PTFE	14 x 18 cms	$799.00

Prostheses List by Category, Groups and Sponsor	Page 137 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

L

Bard Australia Pty Ltd

BA068	Bard Mesh  	Composix Ventral mesh	6" x 8"	$560.00

BA102	Bard Composix E/X Mesh	Elliptical	6" x 8" (15 x 20cm)	$560.00

EMT Healthcare Pty Ltd

EM009	Intramesh Reinforcement Mesh	Reinforcement mesh made from two 	15 x 15cm	$560.00

surfaces for intra-peritoneal visceral

surgery (Polypropylene/ePTFE or

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG019	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra S 14x15cm	$560.00	$925.00

MG021	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra M 22x15x10cm	$560.00	$1,475.00

L, PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS144	Parietex Composite 2015F	Dual sided polyester meshes with a 	20x15cm square	$560.00	$1,500.00

resorbable adhesion-prevention

hydrophilic film

AS149	Parietex Composite 2015OS	Dual sided polyester meshes with a 	20x15cm square	$560.00	$1,500.00

resorbable adhesion-prevention

hydrophilic film

AS154	Parietene Composite 1515	Dual sided polypropylene mesh with 	15x15cm	$560.00	$1,300.00

resorbable adhesion-prevention

hydrophilic film

AS155	Parietene Composite 2015	Dual sided polypropylene mesh with 	20x15cm Oval	$560.00	$1,500.00

resorbable adhesion-prevention

hydrophilic film

Bard Australia Pty Ltd

BA188	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid 	6 x 8 inch	$560.00

Coating/Permanent Mesh	polymer mesh coated with a biopolymer:

a bioresorbable coating of modified

sodium hyaluronate,

carboxymethylcellulose & polyethylene

Johnson & Johnson Medical Pty Ltd

JJ450	PROCEED Surgical Mesh	PROCEED Surgical Mesh M1	6x6 inches	$560.00	$845.00

JJ451	PROCEED Surgical Mesh	PROCEED Surgical Mesh G1	6x8 inches oval	$560.00	$1,045.00

Prostheses List by Category, Groups and Sponsor	Page 138 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PA

Johnson & Johnson Medical Pty Ltd

JJ019	Vypro Mesh	Vicryl/Prolene Composite Mesh	Medium - 15cm x 15cm	$152.00

JJ243	VYPRO II Mesh	Composition - equal part Vicryl 	Extra large 15 x 15cm	$152.00

polyglactin yarn - non-absorbable Prolene

polypropylene yarn.  Partly absorbable

lightweight mesh for tension free-inguinal

JJ468	ULTRAPRO Mesh	ULTRAPRO Mesh M3	15 x 15cm	$152.00	$170.00

Ti

Medical Specialties  Australia Pty Ltd

MS033	TiMESH light	Prosthetic warp-knitted fabric made of 	15 x 15cm TiMESH light	$152.00	$288.00

monofil polypropylene threads with an

encapsulating titanic coating

MS034	TiMESH extralight	Prosthetic warp-knitted fabric made of 	15 x15cm TiMESH extralight	$152.00	$288.00

monofil polypropylene threads with an

encapsulating titanic coating

MS035	TiMESH light	Prosthetic warp-knitted fabric made of 	20 x 15cm TiMESH light	$152.00	$288.00

monofil polypropylene threads with an

encapsulating titanic coating

MS036	TiMESH extralight	Prosthetic warp-knitted fabric made of 	20 x 15cm TiMESH extralight	$152.00	$288.00

monofil polypropylene threads with an

encapsulating titanic coating

3.8.6.4 301-400scm, Composite

EMT Healthcare Pty Ltd

EM008	Intramesh Reinforcement Mesh	Reinforcement mesh made from two 	20 x 20cm	$555.00

surfaces for intra-peritoneal visceral

surgery (Polypropylene/ePTFE or

PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS142	Parietex Composite 20F	Dual sided polyester meshes with a 	20cm round	$200.00	$1,050.00

resorbable adhesion-prevention

hydrophilic film

Prostheses List by Category, Groups and Sponsor	Page 139 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.6.5 401-500scm, Composite

3DC, L

Bard Australia Pty Ltd

BA127	Composix Kugel Hernia Patch	Extra large oval - w/e PTFE	20cm X 25cm	$1,070.00

BA131	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is	Extra Large Oval w/e PTFE 	$1,070.00

a self-expanding, non-absorbable, sterile 	18cm x 23cm

prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament

PET polymer "ring" provides memory,

adds stability to the

BA135	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is	Oval w/e PTFE 16cm x 31.2cm	$1,070.00

a self-expanding, non-absorbable, sterile

prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an

ePTFE sheet; an extruded monofilament

PET polymer "ring" provides memory,

adds stability to the

L

Bard Australia Pty Ltd

BA069	Bard Mesh  	Composix Ventral mesh	8" x 10"	$1,003.00

BA103	Bard Composix E/X Mesh	Elliptical	7" x 9" (18 x 23cm)	$1,003.00

BA104	Bard Composix E/X Mesh	Elliptical	8" x 10" (20 x 25 cm)	$1,003.00

L, PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS145	Parietex Composite 2520F	Dual sided polyester meshes with a 	25x20cm Oval	$1,003.00	$2,200.00

resorbable adhesion-prevention

hydrophilic film

AS150	Parietex Composite 2520OS	Dual sided polyester meshes with a 	25x20cm Square	$1,003.00	$2,200.00

resorbable adhesion-prevention

hydrophilic film

AS156	Parietene Composite 2520	Dual sided polypropylene mesh with 	25x20cm Oval	$1,003.00	$1,950.00

resorbable adhesion-prevention

hydrophilic film

Johnson & Johnson Medical Pty Ltd

JJ452	PROCEED Surgical Mesh	PROCEED Surgical Mesh H1	8x10 inches oval	$1,003.00	$2,080.00

Prostheses List by Category, Groups and Sponsor	Page 140 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PA

Johnson & Johnson Medical Pty Ltd

JJ469	ULTRAPRO Mesh	ULTRAPRO Mesh T1	15x30cm	$220.00

3.8.6.6 501-600scm, Composite

EMT Healthcare Pty Ltd

EM010	Intramesh Reinforcement Mesh	Reinforcement mesh made from two 	30 x 30cm	$1,050.00

surfaces for intra-peritoneal visceral

surgery (Polypropylene/ePTFE or

L, PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS146	Parietex Composite 3020F	Dual sided polyester meshes with a 	30x20cm oval	$1,050.00	$2,700.00

resorbable adhesion-prevention

hydrophilic film

AS157	Parietene Composite 3020	Dual sided polypropylene mesh with 	30x20cm Oval	$1,050.00	$2,400.00

resorbable adhesion-prevention

hydrophilic film

Bard Australia Pty Ltd

BA189	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid 	8 x 12 inch	$1,050.00

Coating/Permanent Mesh	polymer mesh coated with a biopolymer:

a bioresorbable coating of modified

sodium hyaluronate,

carboxymethylcellulose & polyethylene

Johnson & Johnson Medical Pty Ltd

JJ453	PROCEED Surgical Mesh	PROCEED Surgical Mesh J1	8x12 inches	$1,050.00	$2,400.00

3.8.6.7 >600scm, Composite

3DC, L

Bard Australia Pty Ltd

BA128	Composix Kugel Hernia Patch	Extra large oval - w/ePTFE	25cm X 33cm	$1,270.00

L

Bard Australia Pty Ltd

BA063	Bard Mesh  	Composix Ventral mesh	10"x14"	$1,122.00

BA064	Bard Mesh  	Composix Ventral mesh	12"x12"	$1,122.00

Prostheses List by Category, Groups and Sponsor	Page 141 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA105	Bard Composix E/X Mesh	Elliptical	10" x 13" (25 x 33 cm)	$1,122.00

BA106	Bard Composix E/X Mesh	Rectangle	10" x 14" (25 x 36 cm)	$1,122.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG022	Surgimesh XB non-adherent	Intra-abdominal implant biface	Tintra L 30x30x20cm	$1,122.00	$1,850.00

L, PA

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS147	Parietex Composite 3728F	Dual sided polyester meshes with a 	37x28cm oval	$1,122.00	$3,200.00

resorbable adhesion-prevention

hydrophilic film

Johnson & Johnson Medical Pty Ltd

JJ454	PROCEED Surgical Mesh	PROCEED Surgical Mesh T1	10x13 inches oval	$1,122.00	$2,730.00

JJ455	PROCEED Surgical Mesh	PROCEED Surgical Mesh W1	10x14 inches	$1,122.00	$2,620.00

JJ456	PROCEED Surgical Mesh	PROCEED Surgical Mesh L1	12x12 inches	$1,122.00	$2,620.00

PA

Johnson & Johnson Medical Pty Ltd

JJ179	VYPRO Mesh	Vicryl (polyglactin 910) / Prolene 	30cm x 30cm	$280.00	$300.00

(polypropylene) composite mesh

JJ470	ULTRAPRO Mesh	ULTRAPRO Mesh L1	30x30cm	$280.00	$300.00

Ti

Medical Specialties  Australia Pty Ltd

MS038	TiMESH Extra Large	Prosthetic warp-knitted fabric made of 	Extra Large TiMESH	$280.00	$1,810.00

monofil polypropylene threads with an

encapsulating titanic coating

Prostheses List by Category, Groups and Sponsor	Page 142 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.7 Staples, Wound (non-bone)

W L Gore & Associates

GT224	GORE SEAMGUARD® Bioabsorbable 	As packaged, GORE SEAMGUARD 	Ethicon Endo-Surgery Endopath	$230.00

Staple Line Reinforcement	Bioabsorbable Staple Line Reinforcement 	 ETS45; Ethicon Endo-Surgery

constitutes preformed porous 	Endopath ETS45; Ethicon Endo-

bioabsorbable sheets held into the form of	Surgery Endopath EZ45;

sleeves (one cartridge device, one anvil 	Ethicon Endo-Surgery Endopath

device) through the use of a non-	 Echelon 45, Ethicon Endo-

absorbable polyester braided suture. A TY	Surgery Endopath Echelon 60;

Ethicon Endo-Surgery Endopath

ETS Flex 60; USS Endo GIA

Unive

GT228	GORE SEAMGUARD® Bioabsorbable 	As packaged, GORE SEAMGUARD 	Ethicon Endo-Surgery 	$230.00	$322.00

Staple Line Reinforcement, Endoscopic 	Bioabsorbable Staple Line Reinforcement 	ENDOPATH 25 and

Staplers	constitutes preformed	PROXIMATE 25; Ethicon

Endo-Surgery ENDOPATH 29

and PROXIMATE 29; Ethicon

Endo-Surgery ENDOPATH 33

and PROXIMATE 33;

Autosuture CEEA 25;

Autosuture CEEA 28;

Autosuture CEEA 31;

Autosuture CEEA 34;

3.8.7.1 Staples, wound (non-bone) with disposable applier

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS134	DST Series EEA Or Vil	Accessory	21mm, 25mm	$435.00

AS158	ABSORBATACK ™	Larposcopic Absorbable Fixation Device	5mm, 10 tacks	$435.00	$500.00

AS160	ABSORBATACK ™	Laparoscopic Absorbable Fixation Device	5mm, 20 tacks	$435.00	$550.00

Prostheses List by Category, Groups and Sponsor	Page 143 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.8 Tissue Adhesive, Internal

3.8.8.1 Glue, tissue, biological

Advanced Biomedical Pty Ltd

AB011	Bioglue Surgical Adhesive - 2ml 	Model No BG3002-5 (Bioglue Surgical 	One size only	$394.00	The benefit amount/minimum

Solutions Cartridge  5 per pack	Adhesive)	benefit amount is for an

individual product which comes

as a pack of five, Temporary

Baxter Healthcare Pty Ltd

BX214	TISSEEL Two Component Fibrin 	Active ingedients:Sealer Protein Solution 	2.0 ml (containing 1.0 ml of 	$380.00	Temporary approval

Sealant Syringe	& Thrombin Solution - deep-frozen	Sealer Protein Solution and 1.0

ml of Thrombin Solution)

BX215	TISSEEL Two Component Fibrin 	Active ingedients:Sealer Protein Solution 	4.0 ml (containing 2.0 ml of 	$700.00	Temporary approval

Sealant Syringe	& Thrombin Solution - deep-frozen	Sealer Protein Solution and 2.0

ml of Thrombin Solution)

BX216	TISSEEL Two Component Fibrin 	Active ingedients:Sealer Protein Solution 	10.0 ml (containing 5.0 ml of 	$1,400.00	$1,762.00	Temporary approval

Sealant Syringe	& Thrombin Solution - deep-frozen	Sealer Protein Solution and 5.0

ml of Thrombin Solution)

10ml

Advanced Biomedical Pty Ltd

AB004	BioGlue Surgical Adhesive - 10ml 	Model No BG3510-5-A (BioGlue Surgical	One size only	$1,030.00	Temporary Approval

Syringe System	 Adhesive)

AB007	Bioglue Surgical Adhesive - 10ml 	Model No BG 3010-5 (Bioglue Surgical 	One size only	$841.00	The benefit amount/minimum

Solutions Cartridge 5 per pack	Adhesive)	benefit amount is for an

individual product which comes

as a pack of five, Temporary

5ml

Advanced Biomedical Pty Ltd

AB003	BioGlue Surgical Adhesive - 5ml Syringe	Model No BG3515-5-A (BioGlue Surgical	One size only	$630.00	Temporary Approval

System	 Adhesive)

AB005	Bioglue Surgical Adhesive - 5ml 	Model No BG 3005-5 (Bioglue Surgical 	One size only	$478.00	The benefit amount/minimum

Solutions Cartridge 5 Per pack	Adhesive)	benefit amount is for an

individual product which comes

as a pack of five, Temporary

Prostheses List by Category, Groups and Sponsor	Page 144 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.8.2 Glue, tissue, synthetic

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS159	Pleuraseal Lung Sealant System	5ml Polymer Kit, Sterile Single-use	1 kit/box	$685.00

AS163	Vacuseal  Vascular Sealant System	5ml Polymer Kit, Sterile, Single-use	1 kit/box	$685.00

0.5ml

Johnson & Johnson Medical Pty Ltd

JJ576	Ethicon Omnex Surgical Sealant	Omnex Surgical Sealant	0.5 ml	$280.00

1ml

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG032	Glubran 2	Synthetic cyanoacrylic surgical glue. N-	1ml	$300.00

Butyl (2) cyanoacrylate and

methacryloxysulfolane co-monomer.

2.0ml

Baxter Healthcare Pty Ltd

BX252	CoSeal Surgical Sealant	Composition: two synthetic polyethelene 	2ml	$320.00	Temporary approval, pending

glycols (PEG's), COH102 and COH206, 	review of product group

premixed and filled into one syringe, a

dilute hydrogen chloride solution and a

sodium phosphate/sodium carbonate

4.0ml

Baxter Healthcare Pty Ltd

BX253	CoSeal Surgical Sealant	Composition: two synthetic polyethelene 	4ml	$600.00	Temporary approval, pending

glycols (PEG's), COH102 and COH206, 	review of product group+

premixed and filled into a syringe, a dilute

hydrogen chloride solution and a sodium

phosphate sodium carbonate solution

8.0ml

Baxter Healthcare Pty Ltd

BX254	CoSeal Surgical Sealant	Composition: two synthetic polyethelene 	8ml	$1,120.00	Temporary approval, pending

glycols (PEG's), COH102 and COH206, 	review of product group+

premixed and filled into a syringe, a dilute

hydrogen chloride solution and a sodium

phosphate sodium carbonate solution

Prostheses List by Category, Groups and Sponsor	Page 145 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.8.3 Accessory item for tissue adhesive – extender

Advanced Biomedical Pty Ltd

AB009	BioGlue Surgical Adhesive - Syringe 	Model No BGAT-10-SY (BioGlue 	One size only	$31.00	Temporary Approval

Applicator Tip Extender	Surgical Adhesive)

Baxter Healthcare Pty Ltd

BX261	Tisseel Duplospray MIS Applicator 	Two component Fibrin Sealant containing	A 20cm long dual lumen metal 	$62.00

human derived fibrinogen and thrombin.	cannula

BX262	TISSEEL DUPLOCATH 180cm	Ttwo component Fibrin Sealant 	A 180cm long double lumen 	$26.00

containing human derived fibrinogen and 	flexible application catheter

BX263	COSEAL Spray Accessory Kit	A hydrogel that acts as a sealant by 	One size available	$26.00

adhering to itself and the tissues it

contacts.  COSEAL is designed to

completely seal suture lines along

vascular reconstructions to prevent fluids

BX264	TISSEEL DUPLOTIP 20g x 26.4cm	Ttwo component Fibrin Sealant 	A 26.4cm long dual umen 	$26.00

containing derived fibrinogen and 	applicator

BX265	TISSEEL DUPLOTIP 5mm x 31.8cm	Ttwo component Fibrin Sealant 	A 31.8cm long dual lumen 	$31.00

containing human derived fibrinogen and 	applicator

BX267	TISSEEL DUPLOSPRAY MIS 	Two component Fibrin Sealant containing	A 40 cm long dual lumen metal 	$62.00

APPLICATOR 40 cm	 human derived fibrinogen and thrombin.	cannula

BX268	TISSEEL DUPLOCATH 35cm 	Two component Fibrin Sealant containing	A 35cm long double lumen 	$31.00

human derived fibrinogen and thormbin.	flexible application catheter

BX269	TISSEEL Easyspray Set	Ttwo component Fibrin Sealant 	One size	$14.00

containing human derived fibrinogen and

BX270	COSEAL Applicator Tips 10 cm	COSEAL, which is listed on the 	A 10cm long applicator tip	$26.00

Prostheses List, is a hydrogel that acts as

a sealant by adhering to itself and the

tissues it contacts.  COSEAL is designed

to completely seal suture lines along

vascular reconstructions to prevent fluids

BX271	TiSSEEL DUPLOTIP 20g x 10.4cm	Two component Fibrin Sealant containing	10.4cm long dual lumen 	$26.00

human derived fibrinogen and thrombin.

BX272	TISSEEL DUPLOCATH 25cm	Ttwo component Fibrin Sealant 	A 25cm long double lumen 	$26.00

containing human derived fibrinogen and 	flexible application catheter

Prostheses List by Category, Groups and Sponsor	Page 146 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BX273	Floseal Endoscopic Applicator	Used as an adjunct to haemostasis when 	A 35cm long disposable 	$31.00

control of bleeding by ligature or 	cannulated applicator.

conventional surgical procedures is

ineffective or impractical.

BX274	TISSEEL DUPLOTIP 20G x 5.3cm	Two component Fibrin Sealant containing	A 5.3 cm long dual lumen 	$26.00

human derived fibrinogen and thrombin.	applicator.

BX275	COSEAL Extended Applicator 22 cm	COSEAL, which is listed on the 	A 22 cm long malleable applicator	$26.00

Prostheses List, is a hydrogel that acts as

a sealant by adhering to itself and the

tissues it contacts.  COSEAL is designed

to completely seal suture lines along

vascular reconstructions to prevent fluids

BX276	Floseal Curved Applicator TIP 8 cm	FLOSEAL, which is listed on the 	An 8cm long curved metal 	$26.00

Prostheses List, is used as an adjunct to 	applicator tip

haemostasis when control of bleeding by

ligature or conventional surgical

procedures is ineffective or impractical.

This applicator is an 8 cm curved metal

BX277	TISSEEL DUPLOSPRAY MIS 	Two component Fibrin Sealant containing	A 30 cm long dual lumen metal 	$62.00

APPLICATOR 30 cm	 human derived fibrinogen and thrombin.	cannula

BX278	Floseal Curved Applicator Tip 10 cm	FLOSEAL is used as an adjunct to 	A 10cm long curved metal 	$26.00

haemostasis when control of bleeding by 	applicator tip

ligature or conventional surgical

procedures is ineffective or impractical.

This applicator is an 10 cm curved metal

tip, which is attached to the FLOSEAL

syringe (sold separately)

3.8.8.4 Accessory item for tissue adhesive – applicator tip

Advanced Biomedical Pty Ltd

AB008	BioGlue Surgical Adhesive - Syringe 	Model No BGAT-SY (BioGlue Surgical 	One size only	$26.00	Temporary Approval

Standard Applicator Tip	Adhesive)

AB010	BioGlue Surgical Adhesive - Syringe 	Model No BGAT-27-SY (BioGlue 	One size only	$26.00	Temporary Approval

Applicator Tip Extender	Surgical Adhesive)

Baxter Healthcare Pty Ltd

BX266	TISSEEL DUPLOSPRAY MIS 	Ttwo component Fibrin Sealant 	Packs of 10 sterile packs each 	$20.00

APPLICATOR REPLACEMENT TIPS	containing human derived fibrinogen and 	containing 2 tips and an

installation tool

Prostheses List by Category, Groups and Sponsor	Page 147 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

3.8.8.6 Patch - Adhesive peristrips (for internal implantation)

Advanced Biomedical Pty Ltd

AB012	Peri-Strips Dry	Model No PSD 4506-EN	One size only	$350.00	Temporary Approval

AB013	Peri-Strips Dry	Model No PSD 6006-UN	One size only	$350.00	Temporary Approval

AB018	Peri-Strips Dry	Model No PSD 4506-UN	One size only	$350.00	Temporary Approval

AB020	Peri-Strips Dry	Model No PSD 8006-UN	One size only	$350.00	Temporary Approval

3.8.8.7 Powder (for pleurodesis)

Medical Vision Australia Pty Ltd

MF003	Steritalc	Sterile granules of talc implanted in 	3 grams & 4 grams	$60.00

pleural space to act as permanent

Barrier, Absorbable, Adhesion Prevention

Medtronic Australasia Pty Ltd

MC618	Medishield	Medishield is a co-polmer gel composed 	3cc Syringe	$1,300.00	Temporary approval - funded

of carboxymethylcellulose and 	when clinical indications are

Catheters, Peritoneal Dialysis

Cardinal Health

CI004	Pleurx	Pleurx Peritoneal Catheter Mini Kit	Catheter 71.0cm x 15.5 Fr	$395.00

CI006	PleurX® Peritoneal Catheter Drainage 	Peritoneal Catheter kit with Drainage 	Catheter 71cm x 15.5FR; 	$395.00	$975.00	The minimum benefit for this

System	system with 10 x 1000 mL or 500mL 	500mL or 1000mL vacuum 	product is payable for the

vacuum bottle set.	catheter and one (1) bottle only.

CI007	PleurX® Pleural Catheter Drainage 	- Includes integral drainage system 	Catheter 24cm x 15.5 FR; 500 	$425.00	$975.00	The minimum benefit for this

components for, and hence should 	mL or 1000 mL vacuum bottles	product is payable for the

replace CI005 Pleural Catheter Mini Kit. 	catheter and one (1) bottle only.

The vacuum bottles (10 in a set) were

previously omitted from CI005.

Prostheses List by Category, Groups and Sponsor	Page 148 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Cuff, internal, nerve, biodegradable

LMT Surgical Pty Ltd

LM080	Ascension Neurolac	A bioresorbable tension-less Nerve repair 	1.5mm x 3cm to 10.0mm x 3cm	$1,500.00

guide

Drainage system, pleural

Cardinal Health

CI005	Pleurx	Pleurx Pleural Catheter Mini Kit	Catheter 24cm x 15.5Fr	$425.00

Gastroplasty Bands

Rymed Pty Ltd

RY001	MiniMizer Adjustable Gastric Band	Silicon elastomer	14mm wide, 16.6cm band two 	$2,200.00

phase closure, 1: 31mm inner

diameter, phase 2: 26mm inner

diameter. 40cm silicon tube

attached

Infusion pump, analgesic, patient-controlled

Surgical Specialties

SQ036	Painbuster C bloc	Continuous Nerve Block kit -provides 	400ml	$260.00	$320.00

continual flow of local anaesthetic near a

nerve

SQ037	Painbuster C Bloc	Continuous Nerve Block Kit -provides 	400-600ml	$260.00	$450.00

continual flow of local anaesthetic near a

nerve, with options of variable flow rate,

bolus or dual flow.

Prostheses List by Category, Groups and Sponsor	Page 149 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Infusion Pumps

Hospira Pty Limited

HO003	Gemstar infusion system administration 	Administration cassette and set for use 	2.2 micron filter	$35.00

cassette and set	with Gemstar infusion pump series

Marker, lesion localization, implantable

MD Solutions Pty Ltd

MB001	Vari-Strand	Vari-Strand consists of variable stranded 	Variable (individually prescribed)	$6,500.00	$7,150.00

seed configurations in pre-loaded needles 	 stranded seed configurations in

for the purpose of delivering radioactive 	pre-loaded needles delivered in a

seeds for the treatment of prostate 	sterilized tray.

cancer. Varistrand Multiple is delivered in

a sterilized tray and opened in the

operating theatre for immediate use by the

MB002	Vari-Strand	Vari-Strand consists of a single stranded 	Single (individually prescribed) 	$65.00	$82.00

seed in a pre-loaded needle for the 	seed in a pre-loaded needle

purpose of delivering a radioactive seed 	delivered in a sterilized tray.

for the treatment of prostate cancer.

Varistrand Single is delivered in a

sterilized tray and opened in the operating

theatre for immediate use by the urologist

and radiation oncologist.

Prostheses, Nerve Sheath

LMT Surgical Pty Ltd

LM017	Neurotube	Bioabsorbable nerve conduit made of 	2.3mm - 8mm	$1,430.00

polyglycolic acid

Prostheses List by Category, Groups and Sponsor	Page 150 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Sponge, haemostatic, absorbable

Baxter Healthcare Pty Ltd

BX258	FloSeal Hemostatic Matrix	FloSeal is a proprietary combination of 	5mL,	$700.00

specially engineered collagen derived

particles and topical thrombin.  FlowSeal

is not a sponge or a fibrin glue, rather it is

a high viscosity gel for hemostasis.

Clinically proven (refer Appendix 1;

Section 2-4) to control bleeding from

capillary oozing to arterial spurting,

FloSeal functions on wet and actively

bleeding tissues.  FlowSeal Matrix

consists of a bovine derived Gelatin

Matrix component, a human derived

Thrombin component, applicator tips and

several mixing accessories.  The Gelatin

Matrix consists of crosslinked gelatin

granules and is provided sterile and non-

pyrogenic in a standard disposable

syringe.  The Thrombin (Human) is a

sterile, non-pyrogenic, feeeze-dried,

vapour-heated powder preparation made

from pooled human plasma.  A sterile,

non-pyrogenic calcium chloride solution

is provided for reconsitution of the

thrombin.  After reconstitution, the

resulting thrombin solution contains 500

IU/mL Thrombin (Human).  FloSeal

Matrix is the combination of the Gelatin

Matrix component and the reconstituted

Thrombin (Human) component.

Thrombin must be added to the Gelatin

Prostheses List by Category, Groups and Sponsor	Page 151 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BX259	FloSeal Hemostatic Matrix	FloSeal is a proprietary combination of 	10ml	$1,000.00

specially engineered collagen derived

particles and topical thrombin.  FloSeal is

not a sponge or a fibrin glue, rather it is a

high viscosity gel for hemostasis.

Clinically proven (refer Appendix 1;

Section 2-4) to control bleeding from

capillary oozing to arterial spurting,

FloSeal functions on wet and actively

bleeding tissues.  FloSeal Matrix consists

of a bovine derived Gelatin Matrix

componenet, a human derived Thrombin

component, applicator tips and several

mixing accessories.  The Gelatin Matrix

consists of crosslinked gelatin granules

and is provided sterile and non-pyrogenic

in a standard disposable syringe.  The

Thrombin (human) is a sterile, non-

pyrogenic, freeze-dried, vapour-heated

powder preparation made from pooled

human plasma.  A sterile, non-pyrogenic

calcium choride solution is provided for

reconstituion of the thrombin.  After

reconstitutionm the resulting thrombin

solution contains 500 IU/mL Thrombin

(human).  The FloSeal Matrix is the

combination of the Gelatin Matrix

componenet and the reconstituted

Thrombin (human) component.

Thrombin must be added to the Gelatin

Johnson & Johnson Medical Pty Ltd

JJ640	Surgiflo Haemostatic Matrix	Absorbable Porcine Gelatin Matrix Pre-	6ml of gelatin gel per kit.  	$450.00

packaged in a Syringe	Mixing with 2ml-5ml of saline or

thrombin produces 8ml-11ml of

haemostatic matrix.

Prostheses List by Category, Groups and Sponsor	Page 152 of 865

GENERAL MISCELLANEOUS

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Tissue Reconstructive Materials

Lifehealthcare Pty Ltd

LH377	Durasphere FL	Composition: Pyrolitically carbon coated 	Syringe 1ml	$520.00

silica bead in an aqueous gel. Injectable

bulking agent for the treatment of Faecal

Incontinence. Syringe plus needle.

LH378	Durasphere FL	Composition: Pyrolitically carbon coated 	Syringe 3ml	$1,560.00

silica bead in an aqueous gel. Injectable

bulking agent for the treatment of Faecal

Incontinence. Syringe plus needle.

Prostheses List by Category, Groups and Sponsor	Page 153 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.1.1  Aneurysm Clip, metal/alloy

B Braun Australia Pty Ltd

BB108	Aneurysm Clip	Yasargil	4.5mm x 150g to 25.0mm x 200g	$215.00	$230.00

BB109	Aneurysm Clip	Yasargil Phynox Mini	2.8mm x 110g to 7.0mm x 130g	$205.00

BB110	Aneurysm Clip	Yasargil Titanium	4.9mm x 150g to 20.0mm x 200g	$258.00

BB111	Aneurysm Clip	Yasargil Titanium Mini	2.8mm x 110g to 7.0mm x 110g	$270.00

BB112	Aneurysm Clip	Yasargil Reinforcing, Titanium/Phynox	One size only	$422.00

BB175	Yasargil Aneurysm Clip System	Phynox temporary clips are manufactured	3mm - 20mm length, phynox 	$230.00

from phynox.	temporary clips.

BB176	Yasargil Aneurysm Clip System	Titanium termporary clips are 	3mm- 25mm length, titanium 	$280.00

manufactured from titanium	temporary clips.

Johnson & Johnson Medical Pty Ltd

JJ134	Aneurysm Clips	Stainless steel Reinforcing (booster) Clip	Blade length 2-9.5 mm	$460.00

JJ136	Aneurysm Clips	Stainless steel large clip, curved	Blade 6mm diameter, 7.5mm 	$420.00

JJ137	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 5mm length	$408.00

JJ138	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 7.5-15mm 	$378.00

length

JJ139	Aneurysm Clips	Stainless steel large clip, 30 degree angle	Blade length 12mm	$424.00

JJ140	Aneurysm Clips	Stainless steel large clip, bayonet	Blade length 5-12mm	$445.00

JJ141	Aneurysm Clips	Stainless steel large clip, fenestrated	Blade 6mm diameter, 24mm 	$408.00

JJ142	Aneurysm Clips	Stainless steel large clip, fenestrated tandem	Blade 6mm diameter, 6 mm 	$378.00

JJ143	Aneurysm Clips	Stainless steel standard clip, straight to 	4.5-10mm length	$258.00

right angled

JJ144	Aneurysm Clips	Stainless steel standard clip, side angle	0.6mm diameter, 10mm length	$260.00

JJ146	Aneurysm Clips	Stainless steel standard clip, slightly curved	0.6mm diameter, 15mm length	$278.00

JJ147	Aneurysm Clips	Stainless steel standard clip, right angle	0.6mm diameter, 5.5 mm length	$269.00

JJ148	Aneurysm Clips	Stainless steel standard clip, straight to 	0.5-0.6mm diameter, 5-15mm 	$295.00

right angle	length

JJ149	Aneurysm Clips	Stainless steel standard clip, straight to 	5-25mm length	$370.00

Prostheses List by Category, Groups and Sponsor	Page 154 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ150	Aneurysm Clips	Stainless steel standard clip, slightly curved	16mm length	$370.00

JJ151	Aneurysm Clips	Stainless steel standard clip, bayonet	9mm length	$345.00

JJ152	Aneurysm Clips	Stainless steel standard clip, bayonet	15mm length	$350.00

JJ153	Aneurysm Clips	Stainless steel standard clip, curved	10-14mm length	$365.00

JJ154	Aneurysm Clips	Stainless steel standard clip, slightly 	8-20mm length	$408.00

curved to curved

JJ155	Aneurysm Clips	Stainless steel standard clip, bayonet to 	6-25mm length	$406.00

right angle

JJ217	Aneurysm Clips	Stainless steel large clip	Blade 4-6mm diameter, 5-25mm	$378.00

length

Lifehealthcare Pty Ltd

LH116	Aneurism Clip	Sugita Clips, Standard Slightly Curved,	One Size Each	$460.00

LH117	Aneurism Clip	Sugita Clip, Temporary Straight/S,  	One Size Each	$405.00

Sugita Clip, Temporary Straight/L

LH118	Aneurism Clip	Sugita Clips: Standard Straight-Short 	One Size Each	$342.00

#1/Long #2

LH119	Aneurism Clip	Sugita Titanium Anneurysm Clips: 	One Size Each	$269.00

Standard Straight/s, Straight-L, Bayonet,

Angled, Straight-Small, STD Temp-STD

Small, STD Temp-Straight/Large, STD

Temp-Bayonet, STD Temp-CVD, Mini

Straight-Small, Mini Straight/Large, Mini

Curve, Mini Angled, Mini Curve

LH147	Aneurism Clip	Sugita Titanium Clips: Standard Slight 	One Size Each	$318.00

Angle, Side CVD, CVD, Angled, Bayonet-

Small/Large, Straight-Medium, Slight

CVD, Straight Large, L Angle-

Small/Medium/Large, 45D CVD

Small/Medium/Large, STD Temp Slight

CVD, Temp Mini Straight/Large, Temp

Mini Angle,

LH148	Aneurism Clip	Sugita Titanium Clips: Standard Side CVD	One Size Each	$420.00

Bayonet, Small CVD, Side Angled, Slight

CVD, J Angle-Small/Medium/Large,

Slight CVD Small, Temp Mini Straight

Slim, Standard L Curved- Small/Large,

Mini Straight Slim, Curve Slim,

Prostheses List by Category, Groups and Sponsor	Page 155 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LH149	Aneurism Clip	Sugita Titanium Clips: Booster	One Size Each	$435.00

LH150	Aneurism Clip	Sugita Clips: Mini Straight Slim, CVD 	One Size Each	$460.00

LH151	Aneurism Clip	Sugita Clips: Fenest, Lrg L Shaped W/CVD	One Size Each	$500.00

LH152	Aneurism Clip	Sugita Clips, Mini CVD Slim	One Size Each	$618.00

LH153	Aneurism Clip	Sugita Clips, Long	One Size Each	$620.00

LH154	Aneurism Clip	Sugita Clip,  Large Straight/Short	One Size Each	$220.00

LH155	Aneurism Clip	Sugita Clip, Temporary Bayonet, Bent	One Size Each	$230.00

LH156	Aneurism Clip	Sugita Clip, STD Sideward CVD	One Size Each	$236.00

LH157	Aneurism Clip	Sugita Clip, Large Sideward Bent, Bent, 	One Size Each	$296.00

Bayonnet-Short/Large, Straight-

LH158	Aneurism Clip	Sugita Clip, Large L Shaped-	One Size Each	$319.00

Short/Medium/Large, Large J Shaped-

Short/Medium/Large, Fenest Large

Straight-S/M/L, Large Bent-S/M/L,

Fenest Large L Shaped-S/M/L

LH162	Aneurism Clip	Sugita Clip, Large Slightly Crv-	One Size Each	$390.00

LH163	Aneurism Clip	Sugita Clip, Large 45 D Angle/s, Slightlyn	One Size Each	$380.00

Crv/s, Temporary Slighly Crv, Mini

Straight Slim, Large 1/4 CVD, Mini

LH164	Aneurism Clip	Sugita Clip, Large Straight, Bayonet, Mini	One Size Each	$400.00

Bayonet

LH165	Aneurism Clip	Sugita Clip, Large L Shaped W/CRV-S/L,	One Size Each	$410.00

1/4 CVD-S/L

LH166	Aneurism Clip	Sugita Clip, Large 45D Angle-M/L	One Size Each	$400.00

LH167	Aneurism Clip	Sugita Clip, Fenest Large L Shaped-L, 	One Size Each	$460.00

Bayonet

LH168	Aneurism Clip	Sugita Clip, Fenest Large L Shaped W/CVD	One Size Each	$224.00

LH169	Aneurism Clip	Sugita Clips, Standard Bayonnet, Bent, 	One Size Each	$236.00

Sideward Bent, Sideward Curve, Slight

LH170	Aneurism Clip	Sugita Clips, Standard Sideward Curve, 	One Size Each	$370.00

Curved

LH171	Aneurism Clip	Sugita Clips, Standard Slight CVD, CVD	11mm length x 1.2 width, 	$342.00

closing force 125-160gms; 9mm

length x 1.2 width, closing

force 120-155gms

Prostheses List by Category, Groups and Sponsor	Page 156 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LH294	Mizuho - Titanium Fenestrated 	Straight (S/M/L), Bent (S/ M/L),  L-	Closing Force 95 to 160 gms	$568.00

Aneuysm Clips	Shaped (S/M/L), Bayonet,  L Shaped

curved to left (S/M/L),  L-Shaped curved

4.1.2 Aneurysm Clip, other

B Braun Australia Pty Ltd

BB290	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium,	5mm-9mm, 45 Deg	$620.00	$680.00

Permanent Standard Fenestrated

BB291	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium,	5mm-13mm, 90 Deg	$620.00	$680.00

Permanent Standard Fenestrated

BB292	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox 	5mm-9mm, 45 Deg	$460.00	$482.00

Cobalt Alloy, Permanent Standard

BB293	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox 	5mm-13mm, 90 Deg	$460.00	$482.00

Cobalt Alloy, Permanent Standard

Johnson & Johnson Medical Pty Ltd

JJ131	Aneurysm Clips	Stainless steel Graft Clip (with teflon 	Blade 2-5mm diameter, 3-7mm 	$598.00

length

4.1.3 AVM Clips

B Braun Australia Pty Ltd

BB218	Kopitnik Microneurosurgical AVM Clips	Composition: Phynox (Cobalt-base-alloy)	2mm, 3mm, 4mm, 5mm - 	$240.00

straight. 2mm, 3mm, 4mm,

Johnson & Johnson Medical Pty Ltd

JJ130	Aneurysm Clips	Stainless steel alloy AVM Micro Clip	Blade length 2-9.5 mm	$270.00

Lifehealthcare Pty Ltd

LH159	Aneurism Clip	Sugita Clip, Temporary Mini Straight, 	5-7mm length x 1.2mm width, 	$328.00

Bent, Mini Straight/Short, Bent, 	closing force 125gms

SDEWARD CVD, CVD

LH160	Aneurism Clip	Sugita Clip, Mini CVD	4mm length x 1.2mm width, 	$331.00

closing force 120 & 124gms

LH161	Aneurism Clip	Sugita Clip, Mini CVD	5mm length x 1.2mm width, 	$366.00

closing force 132gms

Prostheses List by Category, Groups and Sponsor	Page 157 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.2.1 Repair, Graft, Synthetic, Large (>50cm2)

B Braun Australia Pty Ltd

BB015	Neuro-Patch	Polyesterurethane	12 x 14cm	$655.00

BB113	Neuropatch Dura Substitute	Polyurethane	6 x 14cm	$352.00

Global Scientific Pty Ltd

IG059	DURAGEN PLUS	Collagen Dural Graft Matrix	10cm x 12.5cm	$1,890.00

IG060	DURAGEN PLUS	Collagen Dural Graft Matrix	12.5cm x 17.5cm	$2,400.00

Integra Neurosciences Pty Ltd

IG046	DuraGen	Collagen dural graft matrix	7.5cm x 7.5cm	$1,120.00

IG047	DuraGen Plus	Collagen dural graft matrix	7.5cm x 7.5cm	$1,120.00

IG048	DuraGen Suturable	Collagen dural graft matrix	7.5cm x 7.5cm	$1,120.00

IG049	DuraGen	Collagen Dural graft matrix	10cm x 12.5cm	$1,890.00

IG051	DuraGen Suturable	Collagen dural graft matrix	10cm x 12.5cm	$1,890.00

Lifehealthcare Pty Ltd

LH296	Duraseal Dural Sealant	DuraSeal is a Synthetic, absorbable, 	5ml of hydrogel sealant	$835.00	Temporary approval, pending

Polyethylene Glycon, hydrogel sealant 	review of product group

used as an adjunct to sutured dural repair

to achieve watertight closure.

Tag Medical

TM041	TissuePatchDural	Synthetic Self-Adhesive Barrier to 	50mm x 100mm	$755.00

Cerebrospinal Fluid Leaks

W L Gore & Associates

GT054	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6 x 6cm	$472.00

GT055	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6cm x 12cm	$785.00

GT056	Preclude  Dura Substitute	ePTFE	0.3mm Thickness 2 x 10cm	$492.00

GT057	Preclude Dura Substitute	ePTFE	0.3mm Thickness 5 x 6 cm	$707.00

GT058	Preclude  Dura Substitute	ePTFE	0.3mm thickness 6 x 10cm	$1,335.00

GT059	Preclude Dura Substitute	ePTFE	0.3mm thickness 10 x 12cm	$2,372.00

Prostheses List by Category, Groups and Sponsor	Page 158 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biological

Johnson & Johnson Medical Pty Ltd

JJ743	Duraform Dural Graft Implant - 3" x 3" 	Collagen-based dural graft implant	3" x 3" (7.5 x 7.5cm)	$1,120.00

(7.5 x 7.5cm)

JJ744	Duraform Dural Graft Implant - 4" x 5" 	Collagen-based dural graft implant	4" x 5" (10x12.5cm)	$1,890.00

(10x12.5cm)

Medtronic Australasia Pty Ltd

MC753	Durepair	Dura Substitute, Collagen	3" x 3"	$1,120.00

MC754	Durepair	Dura Substitute, Collagen	4" x 5"	$1,890.00

Stryker Australia Pty Ltd

SK494	DuraMatrix	Resorbable Collagen Dura Substitute 	4" x 5" (10cm x 12.5cm)	$1,890.00

Membrane

SK495	Dura Matrix	Resorbable Collagen Dura Substitute 	3" x 3" (7.5cm x 7.5cm)	$1,120.00

Membrane

4.2.2 Repair, Graft, Synthetic, Medium (11-49cm2)

B Braun Australia Pty Ltd

BB114	Neuropatch Dura Substitute	Polyurethane	6 x 8cm	$291.00

BB115	Neuropatch Dura Substitute	Polyurethane	4 x 10cm	$257.00

BB116	Neuropatch Dura Substitute	Polyurethane	4 x 5cm	$240.00

BB117	Neuropatch Dura Substitute	Polyurethane	2 x 10cm	$254.00

Integra Neurosciences Pty Ltd

IG040	DuraGen	Collagen dural graft matrix	2.5cm x 7.5cm	$545.00

IG041	DuraGen Plus	Collagen dural graft matrix	2.5cm x 7.5cm	$545.00

IG042	DuraGen Suturable	Collagen dural graft matrix	2.5cm x 7.5cm	$545.00

IG043	DuraGen	Collagen dural graft matrix	5cm x 5cm	$605.00

IG044	DuraGen Plus	Collagen dural graft matrix	5cm x 5cm	$605.00

IG045	DuraGen Suturable	Collagen dural graft matrix	5cm x 5cm	$605.00

Prostheses List by Category, Groups and Sponsor	Page 159 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH369	DuraSeal Xact Spinal Dural Sealant	Xact Dural Sealant for spine )Packaged in	2ml vial	$800.00

sterile single use disposable tray with

MicroMyst Applicator & precurser

Tag Medical

TM042	TissuePatchDural	Synthetic Self-Adhesive Barrier to 	50mm x 50mm	$550.00

Cerebrospinal Fluid Leaks

TM043	TissuePatchDural	Aynthetic Self-Adhesive Barrier to 	50mm x 25mm	$380.00

Cerebrospinal Fluid Leaks

W L Gore & Associates

GT233	Gore Preclude® Vessel Guard	Gore Preclude® Vessel Guard is an 	5cm x 6cm	$707.00	$775.00

ePTFE Membrane with a tight

microstructure providing a vessel friendly

interface while preventing penetration of

fibroblasts. It is indicated as a cover for

vessels following anterior vertebral

surgery to reduce the risk of potential

vessel damage during a revision surgery

Biological

Johnson & Johnson Medical Pty Ltd

JJ741	Duraform - 1" x 3" (2.5x7.5cm)	Collagen-based dural graft implant	1x3"(2.5x7.5cm)	$545.00

JJ742	Duraform Dural Graft Implant - 2" x 	Collagen-based dural graft implant	2'x2' (5x5cm)	$605.00

2"(5x5cm)

Stryker Australia Pty Ltd

SK493	DuraMatrix	Resorbable Collagen Dura Substitute 	1" x 3" (2.5cm x 7.5cm)	$545.00

Membrane

SK496	DuraMatrix	Resorbable Collagen Dura Substitute 	2" x 2" (5cm x 5cm)	$605.00

Membrane

4.2.3 Repair, Graft, Synthetic, Small (<10cm2)

B Braun Australia Pty Ltd

BB118	Neuropatch Dura Substitute	Polyurethane	1.5 x 3cm	$72.00

Integra Neurosciences Pty Ltd

IG038	DuraGen	Collagen dural graft matrix	2.5cm x 2.5cm	$330.00	$360.00

Prostheses List by Category, Groups and Sponsor	Page 160 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

IG039	DuraGen Plus	Collagen dural graft matrix	2.5cm x 2.5cm	$330.00	$360.00

Biological

Johnson & Johnson Medical Pty Ltd

JJ740	Duraform Dural Graft Implant - 1" x 1" 	Collagen-based dural graft implant	1'x1' (2.5x2.5cm)	$330.00

(2.5x2.5cm)

Medtronic Australasia Pty Ltd

MC750	Durepair	Dura Substitute, Collagen	1" x 1"	$360.00

MC751	Durepair	Dura Substitute, Collagen	2" x 2"	$605.00

MC752	Durepair	Dura Substitute, Collagen	1" x 3"	$545.00

Stryker Australia Pty Ltd

SK492	DuraMatrix	Resorbable Collagen Dura Substitute 	1" x 1" (2.5cm x 2.5cm)	$330.00	$360.00

Membrane

4.3.1 Ventricular Catheters

Medtronic Australasia Pty Ltd

MC583	CSF - Ventricular Catheters PSM Range	Non metallic latex free. Barium 	ID 1.3mm OD 2.5mm Length 	$212.00

impregnated, include stainless steel stylet.	15cm, 23cm; ID 1.2mm OD

Model Nos 41101, 41115, 41207, 	2.1mm Length 15cm, 23cm

41103, 41308, Proximal ventricular

MC639	Ventricular Catheter PSM range with 	Translucent silicone elastomer with 	15-23cm	$249.00

Bioglide	Barium impregnated stripe. Catheter

surface bonded with Hydrogel.

4.3.1.1 Drainage Catheter, with impregnated antibiotics

Drainage Catheter

Johnson & Johnson Medical Pty Ltd

JJ160	Hakim Ventricular Catheter with 	Silicone antibiotic impregnated catheter	Ventricular catheter length 14 cm	$675.00

Bactiseal Silicone

JJ163	Hakim Ventricular and Peritoneal 	Silicone ventricular/peritoneal catheter	Peritoneal Catheter length 80 	$469.00

Catheter Set with Bactiseal Silicone	cm, Ventricular Catheter length

Prostheses List by Category, Groups and Sponsor	Page 161 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.3.1.2 Drainage Catheter, without impregnated antibiotics

Integra Neurosciences Pty Ltd

IG012	Shunt	Ventricular	14.5cm - 23cm	$475.00

IG014	Heyer Schulte Portnoy Flanged 	Composition - silicone with tantalum 	Length 18cm, outer diameter 8mm	$475.00

Ventricular Catheter	markings

IG025	Ventricular Catheter	Silicone, with and without right angle 	3-15cm, finned, straight and 	$310.00

connectors	right angle

IG030	Cardiac/Peritoneal Catheters	SiliconDistal Catheter, ID 1.3mm, OD 	90cm, barium impregnated 	$185.00

silicone catheter, closed or open

ended, with or without slits

IG031	Ventricular Catheters	Silicon Ventricular Catheter	15cm - 25cm, optional flanges 	$185.00

or right angle or endoscopic tip.

ID 1.3mm, OD 2.5mm

Johnson & Johnson Medical Pty Ltd

JJ218	HOLTER Intracranial Pressure Shunt	HOLTER Ventricular Catheter, packaged 	3 - 7cm and 15cm	$149.00

sterile, silicone rubber

JJ227	Codman Medos Straight Ventricular 	14cm, packaged sterile, silicone rubber	14cm	$149.00

Catheter

JJ263	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO barium ventricular catheter, 	One size only	$154.00

packaged sterile, silicone rubber

4.3.2 CSF Drainage Catheter

Medtronic Australasia Pty Ltd

MC857	Small Lumen Peritoneal Catheter	CSF Distal Catheter	ID - 0.7mm OD - 2.5mm 	$185.00	$235.00

Length - 120cm

4.3.2 Valves

4.3.2.1 Valves, Programmable

Medtronic Australasia Pty Ltd

MC536	Valves, Hydrocephalic	Strata Adjustable Delta Valve	12 -16mm	$715.00

Prostheses List by Category, Groups and Sponsor	Page 162 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC643	Strata Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and 	13-16mm x 35-47mm	$2,350.00

acetal plastic base. Silicone elastomer

Antisyphon Device

Johnson & Johnson Medical Pty Ltd

JJ219	Hakim Programmable Valve System	Fixed pressure hydrocephalus shunt, 	One size only	$3,250.00

packaged sterile, stainless steel and ruby

valve mechanism, silicone rubber

ventricular and peritoneal catheters.  In

line or right angled with reservoir.  Valve

can be reprogrammed non-invasively 18

pressure settings a

Antisyphon Device, Priming Device

Johnson & Johnson Medical Pty Ltd

JJ437	Codman Hakim Programmable Valves 	18 different pressure settings and 	One Size Only	$3,250.00

with Siphonguard	SIPHONGUARD technology

Antisyphon Device, Priming Device, Reservoir

Medtronic Australasia Pty Ltd

MC641	Strata Valve Unitised with Bioglide PSM 	CSF Flow Valve. Polypropylene and 	One size only	$2,700.00

range	acetal plastic base. Silicone elastomer

Priming Device

Johnson & Johnson Medical Pty Ltd

JJ158	Hakim Programmable Valve System	Standard system. Silicone casing without 	One size only	$2,800.00

catheter; stainless steel ruby ball in cone

mechanism with variable pressure

JJ436	Codman Hakim Programmable Valves	18 different pressure settings, various 	One Size Only	$2,700.00

Priming Device, Reservoir

Johnson & Johnson Medical Pty Ltd

JJ159	Hakim Programmable Valve System	Standard system. Silicone casing with 	Peritoneal Catheter length 80 	$3,140.00

catheter; stainless steel ruby ball in cone 	cm, Ventricular catheter length

mechanism with variable pressure

Medtronic Australasia Pty Ltd

MC642	Strata Valve Assembly with Bioglide 	CSF Flow Valves. Polypropylene and 	One size	$2,038.00	$2,730.00

PSM range	acetal plastic base. Silicone elastomer

MC644	Strata Valve NSC (non siphon control) 	CSF Flow Valve. Polypropylene and 	13-16mm x 23-32mm (0.5-2.0)	$2,020.00

PSM range	acetal plastic base. Silicone elastomer

Prostheses List by Category, Groups and Sponsor	Page 163 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.3.2.2 Valves, Non-programmable

Global Scientific Pty Ltd

GS003	Heyer-Schulte Pudenz Flushing Valve	With Anti Siphon Device, Pressure range 	12, 16mm	$1,425.00

low - high

GS004	Heyer-Schulte Pudenz Flushing Valve 	Pressure range low - high	12, 16mm	$780.00

with Integral Conn

GS005	Heyer-Schulte Mishler Dual Chamber 	Burr-hole and flat bottom designs	Standard, mini	$1,525.00

Flushing Valve System	Pressure range low - high

GS011	LPV Shunt System	Standard, mini, Pressure range low - high	.	$1,405.00

GS014	Edwards Barbaro Syringo Peritoneal 	80 x 3.5cm 5FRT-Tube, 90cm peritoneal 	One size only	$1,445.00

reflux control catheterStep down

connector, Foltz CSF Reservoir

GS018	Heyer-Schulte In Line Valve System	Ultra VS Shunt Valve, Pressure low - 	small, standard	$893.00

GS137	Shunt	Pressure valve (anti-siphon device or  	Low - High pressure range	$1,885.00

flushing  valve or flush pump)

GS140	Heyer Schulte Ultra VS Valve Kit 	Comprises of silicone, kit includes valve, 	Peritoneal catheter 90cm, 	$1,624.00

Neonatal Style	peritoneal cather, ventricular catheter and 	ventricular catheter 18cm

rickham style reservoir

GS141	Ultra VS Shunt Kit Standard - Heyer 	Composition silicone, kits contain 	3.8-5.8mm diameter valve, 	$1,624.00

standard valve, ventricular catheter, 	18cm ventricular catheter, low,

peritoneal catheter, rickham reservoir	medium high pressure, 120cm

peritoneal catheter

GS142	Novus Hydrocephalic Shunt - Heyer 	Novus valve made from 	Standard size - low & medium 	$1,624.00

silicone/polysulfone, each valve is packed	pressure; Mini size - low &

with a valve and a right angled catheter 	medium pressure

GS144	Spetzler In Line Valve - Heyer Schulte	Composition silicone, valve with integral 	Low, Medium, High Pressure	$1,110.00

connectors

Integra Neurosciences Pty Ltd

IG001	Horizontal-Vertical (H-V) Lumbar valve 	The H-V Lumbar Valve adjusts to 	903-325A  85-125   205-285  	$1,060.00

system	changes in posture to maintain pressure 	small children, 903-335A  85-

appropriate levels in both standing and 	125  265-365  tall children,

recumbent positions.  Has a unique anti-	adults,  903-345A  85-125  325-

gravity mechanism automatically 	445 tall adults,  903-320A  50-

increasing flow resistance when the 	80  170-240  small children,

patient resumes a standing or sitti	903-330A  50-80  230-320 tall

children, adults, 903-340A  50-

Prostheses List by Category, Groups and Sponsor	Page 164 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

IG004	Spetzler Lumbar-Peritoneal Shunt System	Shunt, CSF Reservoir, In-line valve	Catheter length 80 - 105cm, 	$1,080.00

Reservoir small & large, Valve

pressure range low - high

IG005	Novus Hydrocephalic Shunt Kit	Pressure range low, medium	Standard, mini	$2,155.00

IG015	Cordis Omnishunt System, Hakim Valve	Hakim Valve System	Drainage Cath 110 cm, F7. 	$1,030.00

Series	Vent. Cath 15cm, F8.

IG016	Cordis Standard Valve System 	Atlas Valve System	Drainage Cath 110 cm, F7. 	$1,190.00

Hydrocephalus Valves	Vent. Cath 15cm, F8.

IG018	Precision Flow-OSV II Valve System 	Ventricular/Atrial OSV11-Ventricular 	Drainage Cath 110 cm, F7. 	$1,725.00

/Atrial Hydrocephalus Shunt	Ventricular Catheters 7,9,13 &

15 cm

IG019	Precision Flow-OSV II Valve System	Ventricular/Peritoneal OSV11-  	Drainage Cath 110 cm, F7. 	$1,725.00

Ventricular/Peritoneal Hyrocephalus 	Ventricular Catheters 7,9,13 &

15 cm

IG026	Contour-Flex Valves	Silicone encased CSF Valve	Smal (24mm Length) or Regular	$1,066.00

(28mm Length), low medium

or high pressure

IG028	Equi Flow Valves	Valve only	Small (35mm length) or Regular 	$1,285.00

(40mm length); low,

low/medium and medium

Johnson & Johnson Medical Pty Ltd

JJ161	Codman-Medos Non-programmable 	Silicone fixed pressure lumber/peritoneal 	Peritoneal Catheter length 25-	$375.00

Valve System	catheter, James design

JJ162	Codman-Medos Non-programmable 	Silicone fixed pressure lumber/peritoneal 	Peritoneal Catheter length 65 cm	$870.00

Valve System	catheter, Holter design

Medtronic Australasia Pty Ltd

MC530	Hydrocephalus Shunt	Ventricular/Atrial, CSF Flow Control 	38cm-90cm	$450.00

Shunts, Cont Small Valve

MC531	Hydrocephalus Shunt	Ventricular/Peritoneal. CSF Flow Control 	12mm-90cm	$893.00

Valves, BioGlide Contoured,

Ventriculostomy Kit-E, Neonatal Delta

Snap Shunt

MC532	Hydrocephalus Shunt	With Hydrostatic Valve, Delta 	12mm-90cm	$1,110.00

Valves/Shunts/BioGlide, Vent Catheters

Prostheses List by Category, Groups and Sponsor	Page 165 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Antisyphon Device, Priming Device

Johnson & Johnson Medical Pty Ltd

JJ438	Codman Hakim Precision Valves with 	features 5 operating pressures and 	Pressure settings 10, 40, 70, 	$1,500.00

Siphonguard, Right Angle Reservoir	SIPHONGUARD technlogy	100 and 130mmH2O

JJ439	Codman Hakim Precision Valve with 	features 5 operating pressures and 	Pressure settings 10, 40, 70, 	$1,500.00

Siphonguard, Inline Reservoir	SIPHONGUARD technology	100 and 130mmH2O

Priming Device

Johnson & Johnson Medical Pty Ltd

JJ440	Codman Hakim Precision Valve, Right 	features 5 operating pressures	10, 40, 70, 100, and 	$1,390.00

Angle Reservoir

Priming Device, Reservoir

Medtronic Australasia Pty Ltd

MC647	Delta Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and 	36-40mm x 9-20mm (0.5-2.0)	$1,500.00

acetal plastic base. Silicone elastomer

dome. Surface of valve bonded with

hydrogel (Bioglide surface modification).

MC648	Delta Valve Unitised with Bioglide PSM 	CSF Flow Valves. Polypropylene and 	8-13.5cm x 90-120cm (0.5-2.0)	$1,990.00

range	acetal plastic base. Silicone elastomer

dome. Unitised system includes the valve,

integral ventricular and peritoneal

catheter (all components connected).

Surface of valve bonded with hydrogel

(Bioglide surface modificat

4.3.2.3 Shunt Device, with ventricular/peritoneal catheter and valve

Global Scientific Pty Ltd

GS143	LPV Shunt System Kit - Heyer Schulte	Composition silicone, kit includes LPV 	Standard - low, medium, high 	$1,435.00

valve, peritoneal catheter, ventricular 	pressure; Mini - low, medium,

catheter, right angle catheter guide	high pressure

GS209	Neonatal Shunt System	Shunt Assembly, includes separate 	Medium, low or low-low 	$1,335.00

ventricular catheter, integral distal catheter

GS213	Lumboperitoneal Shunt Assemblies	CSF LP Shunt includes: silicone catheter, 	Straight or "T" tube	$325.00

stainless steel trocar, suture tabs

Integra Neurosciences Pty Ltd

IG017	Precision Flow-OSV II Valve System	Lumbar peritoneal OSV11-	Lumber Catheter 80cm, F5  	$1,725.00

Lumboperitoneal System Hydrocephalus 	Peritoneal Catheter 110cm, F7

Prostheses List by Category, Groups and Sponsor	Page 166 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

IG027	Contour Flex Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, 	Small (24mm Length) or regular	$1,335.00

silicone ventricular and peritoneal catheters	 (28mm Length); low,

low/medium and medium

pressure; various catheter and

IG029	Equi Flow Shunt Assemblies	CSF Shunt, includes silicone ventricular 	Small (35mm length) or Regular 	$1,690.00

and peritoneal catheters, silicone encased 	(40mm length); low,

overdrainage control valve	low/medium and medium

pressure; various kit

Johnson & Johnson Medical Pty Ltd

JJ156	Hakim Precision Valve System	Precision valve standard. Silicone casing 	Peritoneal Catheter length 80 	$1,110.00

& catheter; stainless steel ruby ball in 	cm, Ventricular catheter length

cone mechanism with fixed pressure

JJ157	Hakim Precision Valve System	Precision valve and pre-chamber. Silicone	Peritoneal Catheter length 80 	$1,320.00

casing & catheter; stainless steel ruby 	cm, Ventricular catheter length

ball in cone mechanism with fixed

Medtronic Australasia Pty Ltd

MC640	Strata Shunt, Unitised	Adjustable CSF valve with five symmetric	8-13.5cm x 9-120cm	$2,560.00

performance level steps.  Includes strata

valve, pre-attached ventricular catheter,

and a pre-attached peritoneal catheter.

Right Angle Clip. Disposable Quick

Release Ventricular Catheter Introducer.

MC645	Strata Valve Unitised NSC (non siphon 	Adjustable CSF valve with five symmetric	8-120cm	$2,406.00

control) PSM range	 performance level steps. Includes a

strata valve, pre-attached ventricular

catheter, and a pre-attached peritoneal

catheter. Right Angle Clip. Disposable

Quick Release Ventricular Catheter

MC646	Strata Valve Assembly NSC (non siphon	Adjustable CSF valve with five 	One size	$2,245.00

control) PSM range	symmetrical performance level steps.

Includes a strata valve, an integral distal

peritoneal catheter and catheter passer,

and a female leur adaptor and prefill

tubing. Polypropylene and acetal plastic

MC649	Delta Shunt Unitised	Delta valve is a fixed pressure CSF valve,	Delta Unitised Shunt small 	$1,725.00

available in four performance levels. 	(Distal 65cm-90cm, ventricular

Delta Unitised shunt includes a delta 	11cm) - 0.5, 1.0, 1.5 and 2.0.

valve, pre-attached ventricular catheter, 	Delta Unitised Shunt regular

and a pre-attached peritoneal catheter. 	(Distal 90cm, ventricular

Right Angle Clip. Disposable Quick 	catheter 13cm) - 0.5, 1.0, 1.5

Prostheses List by Category, Groups and Sponsor	Page 167 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC650	Delta Shunt Assembly	Delta valve is a fixed CSF pressure valve,	90-120cm (0.5 - 2.0)	$1,560.00

available in four performance levels.

Includes an Integral (distal) Peritoneal

Catheter, Disposable Peritoneal Catheter

Passer, Female Luer Adapter and Prefill

MC651	Delta Valve Assembly with Bioglide 	CSF Flow Valves. Polypropylene and 	90-120cm (0.5, 1.0, 1.5, 2.0)	$1,775.00

PSM range	acetal plastic base. Silicone elastomer

dome. Assembly system includes the

valve, integral peritoneal catheter, female

luer adapter and prefill tubing. Surface of

the valve bonded with hydrogel (Bioglide

MC652	Strata Shunt Assembly	Adjustable CSF valve with five symmetric	90-120cm	$2,406.00

performance level steps. The assembly

includes an Integrated (distal) Peritoneal

Catheter. Disposable Peritoneal Catheter

Passer. Female Luer Adapter and Prefill

tubing.

Drainage Catheter

Johnson & Johnson Medical Pty Ltd

JJ220	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, 	One size only	$1,500.00

packaged sterile, stainless steel and ruby

valve mechanism, silicone rubber

ventricular and peritoneal catheters.  In

line or right angled with reservoir.

Opening pressure  H20; Very high

130mm, high 100mm, medium 70mm

JJ221	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, 	One size only	$1,390.00

packaged sterile, stainless steel and ruby

valve mechanism, silicone rubber

ventricular and peritoneal catheters.  In

line or right angled with reservoir.

Opening pressure  H20; Very high

130mm, high 100mm, medium 70mm

4.3.3 Drainage Catheter

Medtronic Australasia Pty Ltd

MC533	Shunt: Components catheter	Ventricular Catheter, CSF Catheter	1.3 - 35cm	$149.00

Prostheses List by Category, Groups and Sponsor	Page 168 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.3.3.2 Drainage Catheter, without impregnated antibiotics

Integra Neurosciences Pty Ltd

IG009	Heyer-Schulte Pudenz Ventricular 	-	small, standard, right-angled	$185.00

IG010	Shunt	Components - catheter: Atrial	55cm - 60cm, Low - High 	$450.00

pressure range

IG011	Shunt	Peritoneal	90 - 120cm	$350.00

IG020	Atrial Catheter 	Components - catheter: Atrial Atrial 	Length: 46cm, F7.  OD: 2.1mm;	$165.00

Catheters  Hydrocephalux Valve 	 ID:1.1mm

IG021	Peritoneal Catheter	Peritoneal Catheters	Length: 91cm, F7.  OD: 2.1mm;	$180.00

ID:1.1mm

Johnson & Johnson Medical Pty Ltd

JJ225	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter, 	90cm in length	$155.00

packaged sterile, silicone

JJ226	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter 	90cm in length	$247.00

Salmon, packaged sterile, silicone

JJ229	Codman Medos Peritoneal Catheter	85cm, packaged sterile, silicone rubber	85cm	$185.00

JJ261	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO catheter, packaged sterile, 	91cm in length	$197.00

silicone rubber

Medtronic Australasia Pty Ltd

MC584	CSF - Distal Catheters	Non metallic and latex free, Models 	Distal cardiac/peritoneal 	$185.00

43418,43103,43111,43209,43522,43551,	catheters ID 1.3mm OD 2.5mm

27211	Length 90cm, 96cm, 110cm,

120cm, ID 1.2mm, OD 2.1mm,

Length 90cm, 75cm, 58cm

MC638	Peritoneal Catheter PSM range with 	Translucent silicone elastomer with 	60-90cm	$255.00

Bioglide	Barium impregnated stripe.  Catheter

surface bonded with Hydrogel.

MC735	Rivulet	Ventricular Catheter	4cm - 23cm	$310.00

4.3.4 Antisyphon Device

Global Scientific Pty Ltd

GS001	Heyer-Schulte In Line Valve System	Anti Siphon Device	One size only	$390.00	$640.00

Prostheses List by Category, Groups and Sponsor	Page 169 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GS217	Siphon Limiting Device	Silicone Shunt Accessory for control of 	15mm length, 4.5mm height, 	$577.00

CSF overdrainage	10mm width

Johnson & Johnson Medical Pty Ltd

JJ164	Siphonguard CSF Control Device	PET shell anti-siphon device for shunt	One size only	$390.00

Medtronic Australasia Pty Ltd

MC529	Hydrocephalus Shunt	Lumbar peritoneal	84cm	$450.00

4.3.5 Unishunt

4.3.5.1 Unishunt, Cranial

Global Scientific Pty Ltd

GS017	Heyer-Schulte In Line Valve System	Ultra VS Cylindrical Shunt/Valve system -	.	$893.00

Neonate style, Pressure range low - high

GS134	Shunt	Lumbar	80cm	$1,046.00

Integra Neurosciences Pty Ltd

IG023	Cordis Omnishunt System	Silicone and Synthetic ruby	Very low to very high pressures	$775.00

IG024	Gravity Compensating Accessory	Silicone/Stainless steel	low, medium & high pressures	$880.00

IG032	Burr Hole Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, 	16mm or 12mm base; low, 	$650.00

silicone ventricular and peritoneal catheters	medium or high pressure,

various kit configurations

4.3.6 CSF Valve for Hydrocephalus Treatment

4.3.6.2 Hydrocephalus Device, CSF Valve for Hydrocephalus Treatment, Adjustable Valve

Medtronic Australasia Pty Ltd

MC928	Strata NSC L-P Shunt	Lumboperitoneal Shunt	44mm x 23mm x 12mm	$2,700.00

Antisyphon Device

Medical Specialties  Australia Pty Ltd

MS003	Sterile Hydrocephalic Shunts	Plastic/magnetic. Programmable valve. 	3, 8 settings	$2,700.00

Programmer kit and shunts kit.

Prostheses List by Category, Groups and Sponsor	Page 170 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.3.6 Reservoir

Integra Neurosciences Pty Ltd

IG006	Heyer-Schulte Spetzler Lumbar-	-	Small, large	$425.00

Peritoneal Low Pressure Flushing

IG008	Heyer-Schulte Ommaya CSF Reservoir	Standard, side-inlet, convertible, mini	1.5 - 2.5cm and mini	$717.00

IG013	Shunt	Reservoir	Standard, Large	$390.00

IG033	Reservoirs	Shunt component	9mm to 25mm, with or without 	$512.00

convertible outlet port, burr hole

or flat bottom style

Johnson & Johnson Medical Pty Ltd

JJ165	Burr Hole Button	Stainless steel ventriculostomy reservoir	One size only	$375.00

JJ166	Burr Hole Button	Silicone or stainless steel ventriculostomy	14mm diameter	$450.00

reservoir

JJ167	Burr Hole Button	Silicone ventriculostomy reservoir, flat 	One size only	$260.00

JJ168	Burr Hole Button	Silicone ventriculostomy reservoir, 	One size only	$172.00

JJ169	Burr Hole Button	Silicone ventriculostomy reservoir, large	One size only	$355.00

JJ170	Burr Hole Button	Silicone or stainless steel ventriculostomy	One size only	$335.00

reservoir, low profile

JJ171	Burr Hole Button	Silicone or stainless steel ventriculostomy	24mm diameter	$400.00

reservoir

Medtronic Australasia Pty Ltd

MC534	Pressure valve (anti-siphon device or  	Neonatal Reservior, CSF Lumbo 	2 - 90cm	$720.00

flushing valve or flush pump)

MC535	Pressure valve (anti-siphon device or  	Reservoir, CSF Vent Reservoir, Snap 	6 - 90mm	$1,790.00

flushing valve or flush pump)	Assembly Reservoir

Prostheses List by Category, Groups and Sponsor	Page 171 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.3.7 Shunt Attachments

4.3.7.1 Connectors

Integra Neurosciences Pty Ltd

IG007	Heyer-Schulte Connectors for 	Pudenz straight, Pudenz right angled, 	Each in one size	$143.00

Neurosurgical Use	Pudenz three-way (Y) Threaded

straight, Threaded right angled, Double

IG022	Connectors	Silicone and Stainless Steel	Straight, right angle, Y, T	$396.00

Johnson & Johnson Medical Pty Ltd

JJ228	Codman Medos Connector	Codman Medos stainless steel shunt 	One size only	$38.00

connector straight

JJ262	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO three way connector, 	One size only	$143.00

packaged sterile, metal or plastic

JJ264	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO right angle connector, 	One size only	$70.00

packaged sterile, metal or plastic

4.3.7.2 Right Angled Guides

Integra Neurosciences Pty Ltd

IG052	Electa right angle guide	Silicone	One Size Only	$200.00

4.4.1 Implantable Pulse Generator for DBS

St. Jude Medical Australia Pty Ltd

SJ171	ANS Spinal Cord Stimulation System 	Implantable Pulse Generator - Genesis 	One size only	$17,450.00

(SCS) GENESIS	Model 3608

4.4.1.1 Implantable Pulse Generator, single channel

St. Jude Medical Australia Pty Ltd

SJ197	Libra Deep Brain Stimulation System - 	Implantable pulse generator for deep brain	50mm x 54mm x 14mm	$9,050.00

Libra IPG - 6608	 stimulation - 8 channel

Prostheses List by Category, Groups and Sponsor	Page 172 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Single Channel

Medtronic Australasia Pty Ltd

MC228	Soletra Model 7426 Neurostimulator	Sterility - Ethylene Oxide.  	One size only	$9,050.00

Neurostimualtor comprised of electronic

circuitry and a battery, which are

hermatically sealed in a titanium case

4.4.1.2 Implantable Pulse Generator, dual channel

Medtronic Australasia Pty Ltd

MC838	Medtronic ACTIVA PC Neurostimulator	ACTIVA PC Dual channel primary cell 	One size only	$15,060.00	$18,500.00

for Deep Brain Stimulation	neuro stimulator for Deep Brain

MC946	Medtronic ACTIVA RC Neurostimulator	ACTIVA RC Dual channel rechargeable 	One size only	$15,060.00	$24,000.00

for Deep  Brain Stimulation	neurostimulator for Deep Brain

Stimulation (37612)

St. Jude Medical Australia Pty Ltd

SJ202	Brio DBS Implantable Pulse Generator 	Dual Channel 16 Contact rechargeable 	29g, 17cc	$15,060.00	$19,150.00

SJ206	Libra XP DBS IPG 6644	Implantable pulse generation for deep 	76mm x 58mm x 14mm	$15,060.00

brain stimulation - Dual 4 Channel

Dual Channel

Medtronic Australasia Pty Ltd

MC001	Kinetra Dual Channel Implantable Pulse 	Titanium, polyurethane	One size only	$15,060.00

Generator Model 7428

4.4.2 Patient programmer for single channel DBS system

Medtronic Australasia Pty Ltd

MC249	Access Therapy Controller	Handheld device used with the Kinetra 	One size only	$1,400.00	To be funded for the initial

and Soletra Implantable Pulse Generators	implant only.

4.4.2.1 Patient programmer for DBS system

Medtronic Australasia Pty Ltd

MC837	Medtronic Activa Patient Programmer	Patient Programmer for Activa RC and 	One size only	$1,400.00	$1,600.00

PC (Model 37642)

Prostheses List by Category, Groups and Sponsor	Page 173 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.4.2.2 Patient programmer for dual channel DBS system

St. Jude Medical Australia Pty Ltd

SJ204	Brio DBS Patient Controller 6856	Patient Controller for DBS	One size only	$1,400.00

4.4.3 Lead for DBS system

4.4.3.2 Permanent lead for DBS system

Quadripolar

Medtronic Australasia Pty Ltd

MC244	Medtronic Australasia DBS Lead Model 	Deep brain stimulation lead with four 	28 - 40cm	$4,150.00

3389,  Medtronic quadripolar Itrel II- 	platinum iridium electrodes Models 3387

7424DBS, Active Implantable Stimulator	and 3389.  Electrode spacing is 1.5mm

& Ancillary Equipment	apart for Model 3387 and 0.5mm apart

for Model 3389.  PTFE, polyurethane,

platinum/iridium, nickel alloy, tungsten

4.4.4 Lead extension

Medtronic Australasia Pty Ltd

MC305	Low Profile Impedance Extension Kit 	Silicone Rubber	25, 40, 51, 66, 95cm	$1,510.00	$2,100.00

for DBS Model 7482

MC852	Medtronic Extension for Deep Brain 	Medtronic ACTIVA Stretch Coil 	40cm, 60cm, 95cm	$1,948.00	$2,500.00

Stimulation	Extension for use with ACTIVA RC and

MC940	Pocket Adaptors for Deep Brain 	Pocket Adaptors for Deep Brain 	25.5cm and 27.4cm	$1,510.00	$1,750.00

Stimulation (Single and Dual Channel)

4.4.5 Accessory kit

Medtronic Australasia Pty Ltd

MC841	Medtronic MicroTargeting Electrodes	Microelectrodes used for intra-operative 	Various	$950.00	$1,500.00

recording of neuronal activity

MC842	Medtronic Screening Cable (Twist Lock)	Screening Cable with Twist Lock for 	One size only	$300.00	Temporary Listing

Intraoperative testing

Prostheses List by Category, Groups and Sponsor	Page 174 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC843	Medtronic Screening Cable (Alligator 	Screening Cable with Alligator Clip for 	One size only	$300.00	Temporary Listing

Intraoperative testing

St. Jude Medical Australia Pty Ltd

SJ198	MicroTargeting Electrodes	Microtargeting mono- and bipolar- 	100-300mm	$950.00

SJ199	Guardian Burr Hole Cover System	Cranial Burr Hole Cover	14 - 17mm outer diameter	$400.00	$800.00

DBS Lead Securement Device

Medtronic Australasia Pty Ltd

MC767	Stimloc	Burr Hole Cover	14mm	$400.00	$550.00

MER Cable

Medtronic Australasia Pty Ltd

MC764	Microelectrode Cable	Cable used for intracranial recording of 	One size	$150.00	$200.00

neural activity prior to DBS

MER Electrode

Medtronic Australasia Pty Ltd

MC766	MicroTargeting Electrodes	Electrode used for intracranial recording 	276.5mm	$950.00	$1,500.00

of neural activity prior to DBS

Revision Kit

Medtronic Australasia Pty Ltd

MC770	Snap Lid Connector	Connector for implanted lead to external 	2.5" x 5.0"	$300.00

Implantable Pulse Generator

4.5.1 Pulse Generator for Pain Management

4.5.1.1 Radiofrequency system

St. Jude Medical Australia Pty Ltd

SJ163	ANS Spinal Cord Stimulation System 	Dual Receiver 16 Channel (2 x 8 channel)	One size only	$12,450.00	When used in pain therapy - to

(SCS) RENEW	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

SJ164	ANS Spinal Cord Stimulation System 	Single Receiver. 8 Channel (1 x 8) 	One size only	$9,450.00	When used in pain therapy - to

(SCS) RENEW	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

Prostheses List by Category, Groups and Sponsor	Page 175 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SJ167	ANS Spinal Cord Stimulation System 	Transmitter Kit 8 Channel	One size only	$6,783.00	When used in pain therapy - to

(SCS) RENEW	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

4.5.1.2 Primary Cell (non-rechargeable system

Medtronic Australasia Pty Ltd

MC137	Medtronic A/Asia, Synergy Dual 	DCI - Pulse Generator: Synergy Dual 	One size only	$17,250.00	When used in pain therapy - to

Channel Implantable Pulse Generator 	Channel Implantable Pulse Generator 	be funded when the patient has

Model 7427, Active Implantable 	Model 7427. Materials - Titanium 	undergone a multi-disciplinary

assessment and trial of

St. Jude Medical Australia Pty Ltd

SJ166	ANS Spinal Cord Stimulation System 	Transmitter Kit 16 Channel	One size only	$9,450.00	When used in pain therapy - to

(SCS) RENEW	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

SJ174	ANS Spinal Cord Stimulation System 	Implantable Pulse Generator - Genesis G4	One Size Only	$9,450.00

(SCS) GENESIS	 Model 3604

SJ175	ANS Spinal Cord Stimulation System 	Implantable Pulse Generator - Genesis XP	One Size Only	$18,650.00

(SCS) GENESIS	 Model 3609

SJ176	ANS Spinal Cord Stimulation System 	Implantable Pulse Generator - Genesis XP	One Size Only	$18,650.00

(SCS) GENESIS	 Dual Model 3644

SJ210	Eon C IPG 3688	16 channel non-rechargeable multi-	49cc	$19,150.00

program implantable pulse generator

4.5.1.3 Patient programmer

Medtronic Australasia Pty Ltd

MC247	Patient Activators	Hand held device Models 7434 & 7435 to	One size only	$1,400.00	When used in pain therapy - to

be used with Itrel III and Synergy 	be funded when the patient has

Implantable Pulse Generators	undergone a multi-disciplinary

assessment and trial of

Prostheses List by Category, Groups and Sponsor	Page 176 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.5.2 Implantable Neurostimulators

Medtronic Australasia Pty Ltd

MC945	Medtronic ACTIVA Recharging System 	Recharging System for Deep Brain 	One size only	$1,346.00	$3,200.00

for Deep Brain Stimulation	Stimulation

Primary Cell (Non-rechargable system

Medtronic Australasia Pty Ltd

MC742	Prime Advanced	Implantable Neurostimulator	Dimensions: 65 x 49 x 15mm	$18,650.00	$21,000.00

4.5.2.1 Rechargeable Implantable Neurostimulator

Boston Scientific Australia Pty Ltd

BS104	Precision SCS Implantable Pulse 	Rechargeable Neurostimulation System 	One Size Only	$22,000.00

Implantable Pulse Generator.

Medtronic Australasia Pty Ltd

MC746	Restore Advanced INS	Implantable Neurostimulator	Dimensions: 65 x 49 x 15mm	$21,000.00	$24,000.00

MC929	Medtronic RestoreULTRA 	16 Electrode Rechargeable implantable 	22cc	$19,150.00	$24,000.00

Neurostimulator for pain management

St. Jude Medical Australia Pty Ltd

SJ133	Eon Mini Neurostimulation System - 	Eon Mini Neurostimulation System - 	18cc, 29g	$19,150.00	$22,000.00

Implantable Pulse Generator 3788	Implantable Pulse Generator 3788

SJ179	Genesis RC Rechargeable IPG	Genesis RC (IPG) Neurostimulation System	70mm	$19,150.00

SJ180	Genesis RC Rechargeable IPG	Genesis RC Dual 4 (IPG) 	76mm	$19,150.00

Neurostimulation System

SJ182	Eon Neurostimulation System	Eon Neurostimulation Implantable Pulse 	Height = 59mm	$19,150.00

Generator #3716

4.5.2.2 Patient Therapy Manager / patient programmer

Boston Scientific Australia Pty Ltd

BS106	Precision SCS External Patients Remote 	Hand held remote control External Patient	One Size Only	$1,350.00

Programmer	 Programmer

BS107	Precision SCS Clinician Programmer	Independent clinician programmer for the	One Size Only	$3,200.00

precision SCS system

Prostheses List by Category, Groups and Sponsor	Page 177 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BS108	Precision SCS Bionic Navigator	Remote Control for the Clinician 	One Size Only	$750.00

Medtronic Australasia Pty Ltd

MC943	Medtronic myStim Patient Programmer	Patient programmer for Restore and 	One size only	$1,350.00	$1,500.00

Prime Neurostimulation systems (Model

St. Jude Medical Australia Pty Ltd

SJ172	ANS Spinal Cord Stimulation System 	Patient Programmer Model 3850	One size only	$2,831.00	When used in pain therapy - to

(SCS) GENESIS	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation

SJ177	ANS Spinal Cord Stimulation System 	QuikLink Patient Programmer Model 	One Size Only	$1,250.00

(SCS) GENESIS

SJ183	Eon Neurostimulation System	Eon Programmer #3851	.	$2,831.00

4.5.2.3 External recharger

Boston Scientific Australia Pty Ltd

BS105	Precision SCS External Patient Recharger	External Patient Recharging System: Base	One Size Only	$1,346.00

Station, charger, Cradle power supply,

charger base station

BS143	Precision SCS External Patient 	External Patient Recharging System: Base	One size only	$1,000.00	$3,000.00

Recharger System	 Station, Charger, Cradle power supply,

charger base station.

Hospira Pty Limited

HO004	Gemstar rechargeable system	Rechargeable battery, docking station, AC	One size	$880.00

adaptor and carry case for use with the

Gemstar infusion system.

Medtronic Australasia Pty Ltd

MC692	Restore Rechargeable Neurostimulation 	External Patient Recharger System Model	one size only	$3,000.00

System	 37752

St. Jude Medical Australia Pty Ltd

SJ181	Genesis RC Rechargeable IPG	External Charging System	.	$1,000.00

SJ203	Brio DBS Charging System 6721	Charging System Model 6721	One size only	$1,975.00	$3,000.00

SJ209	Eon Mini Neurostimulation System - 	Charging System Model 3721	One size only	$1,975.00

Charging System Model 3721

SJ211	Eon Neurostimulation System - Mobile 	Mobile Charging System	One size	$1,975.00

Charging System 3711

Prostheses List by Category, Groups and Sponsor	Page 178 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.5.3 Lead

Boston Scientific Australia Pty Ltd

BS158	Precision Connector M1	Lead extension for Precision SCS System	35. 55. 70 cm length	$1,510.00

Surgical, 16-point lead

Medtronic Australasia Pty Ltd

MC942	Specify 2x8 Surgical Lead	Surgical Lead	30cm and 65cm	$8,000.00

4.5.3.1 Lead

St. Jude Medical Australia Pty Ltd

SJ138	Lamitrode Lead - Tripole 16C	Tripole 16C - 3214, 3128, 3219, 3220, 	30-110cm	$7,040.00	$7,640.00

SJ168	ANS Spinal Cord Stimulation System 	Lamitrode Plate Electrode	60cm, 90cm, 110cm	$7,040.00	When used in pain therapy - to

be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

SJ191	Lamitrode C Series Leads	Lamitrode C Series, 16 Channel, Model # 	Length = 60cm	$7,640.00

3289

Octapolar

Boston Scientific Australia Pty Ltd

BS109	Precision SCS Eight Contact Leads	Eight contact percutaneous leads.	30cm to 70cm	$4,164.00

St. Jude Medical Australia Pty Ltd

SJ137	Lamitrode Leads - Tripole 8, Tripole 8C 	Tripole 8 (3208), Tripole 8C (3210) and 	Length - 60cm	$7,040.00

and Exclaim	Exclaim (3224)

SJ169	ANS Spinal Cord Stimulation System 	Lamitrode Dual 8 Plate Electrode Lead	One size only	$7,640.00	When used in pain therapy - to

be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

SJ184	Lamitrode S Series Leads	Lamitrode S Series, 8 Channel, Model # 	Length = 30cm	$7,040.00

SJ185	Lamitrode S Series	Lamitrode S Series, 8 Channel, Model # 	Length = 60cm, 90cm, 110cm	$7,040.00

SJ188	Lamitrode C Series Leads	Lamitrode C Series, 8 Channel, Model # 	Length = 60cm, 90cm, 110cmm	$7,040.00

Prostheses List by Category, Groups and Sponsor	Page 179 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Octapolar, Percutanous

Medtronic Australasia Pty Ltd

MC690	Neurostimulation System - Octad Leads	Octad Standard Lead Kit without 	45, 60 & 75cm	$4,370.00

Percutaneous Extension Model 3777,

MC710	Neurostimulation System - Octad Leads	Octad Standard Lead Kit with 	45, 60 & 75cm	$4,230.00

Percutaneous extension model 3877

MC711	Neurostimulation System - Octad Leads	Octad Compact Lead Kit without 	45, 60 & 75cm	$4,230.00

Percutaneous Extension Model 3778

MC712	Neurostimulation System - Octad Leads	Octad Compact Lead Kit with 	45, 60 & 75cm	$4,230.00

Percutaneous Extension Model 3878

MC740	SCS Sub Compact Lead	Octad Sub Compact Lead Kit without 	45, 60 and 75cm	$4,230.00	$4,750.00

Percutaneous Extension Model 3776

MC759	SCS Sub Compact Lead	Ocatd Sub Compact Lead Kit with 	45, 60 and 75cm	$4,230.00	$4,750.00

Percutaneous Extension Model 3876

St. Jude Medical Australia Pty Ltd

SJ161	ANS Spinal Cord Stimulation System 	Octrode Lead. 8 Electrode (thoracic or 	30cm, 60cm, 90cm 110cm	$4,293.00	When used in pain therapy - to

cervical placement).	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

Quadripolar

St. Jude Medical Australia Pty Ltd

SJ186	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 	Length = 30cm	$7,040.00

SJ187	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 	Length = 60cm, 90cm, 110cm	$7,040.00

Quadripolar, Percutanous

St. Jude Medical Australia Pty Ltd

SJ162	ANS Spinal Cord Stimulation System 	Quattrode Lead. 4 Electrode.	30cm, 60cm, 90cm 110cm	$3,400.00	When used in pain therapy - to

be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

SJ189	Axxess Permanent Lead	Axxess Quad Lead:  7mm - Model #4044,	Length - 45cm	$485.00

9mm - Model # 4054

SJ190	Axxess Permanent Lead	Axxess Quad permanent Lead:  7mm - 	Length 30 - 60cm	$3,400.00

Model #4143 & 4146, 9mm- Model #

Prostheses List by Category, Groups and Sponsor	Page 180 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

sixteen point leads

Boston Scientific Australia Pty Ltd

BS110	Precision SCS 16 Point Leads	16 contact point leads with independent 	50cm - 70cm	$8,000.00

current controlled.

Surgical

Medtronic Australasia Pty Ltd

MC135	Medtronic Australasia, Specify Lead 	DCI - Leads: Specify Lead Model 3998. 	18cm x 1	$4,150.00	When used in pain therapy - to

Model 3998, Active Implantable 	(dual lead) Materials - Silicone Rubber, 	be funded when the patient has

Stimulators & Ancillary Equipment	Platinum/Iridium	undergone a multi-disciplinary

assessment and trial of

MC361	2X4 Hinged Surgical Lead model 3999	Materials: silicone rubber, platinum-	30, 45 & 60cm	$4,305.00

iridium, polyurethane

Trial or blank lead

Boston Scientific Australia Pty Ltd

BS118	Precision SCS Lead Blanks	Lead Blank	One Size Only	$200.00

BS119	Precision SCS Trial Leads	Trial Leads	30cm - 70cm	$485.00

Trial or blank lead, Percutanous

St. Jude Medical Australia Pty Ltd

SJ165	ANS Spinal Cord Stimulation System 	Trial Lead. Temporary Screening Lead	30cm, 60cm	$485.00	When used in pain therapy - to

be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

Triple array

Medtronic Australasia Pty Ltd

MC776	Specify 5-6-5 Surgical Lead	Triple Array 16 Electrode Surgical Lead 	30, 65cm	$8,000.00

with Duraloc Technology

4.5.3.2 Lead extension

Boston Scientific Australia Pty Ltd

BS111	Precision SCS Lead Extensions	Lead Extensions	25cm to 55cm	$1,510.00

Medtronic Australasia Pty Ltd

MC734	Quadripolar Stretch-Coil Extensions	Model 37082 Bifurcated, Silver and 	20cm - 60cm	$2,135.00	$3,500.00

Silicone Rubber

Prostheses List by Category, Groups and Sponsor	Page 181 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC941	Pocket Adaptors for Spinal Cord 	Pocket Adaptors for Spinal Cord 	25.5cm and 27.4cm	$1,510.00	$1,750.00

Stimulation (Single and Dual Channel)

Octapolar

Medtronic Australasia Pty Ltd

MC688	Neurostimulation System - Extensions	1 x 8 Synergy Extension Kit Model 7472; 	20, 40 & 60cm	$2,000.00

1 x 8 Extension Kit Model 37081

MC733	Quadripolar Stretch-Coil Extensions	Model 37083 Single, Silver and Silicone 	20cm - 60cm	$1,948.00	$2,500.00

Rubber

Quadripolar

Medtronic Australasia Pty Ltd

MC315	Low Profile Impedance Extension Kit 	Silicone rubber	10, 25, 40, 51, 66cm	$1,510.00	$2,138.00

for SCS Model 7489

St. Jude Medical Australia Pty Ltd

SJ178	A127 Lead Extension	A127 Lead Extension	15cm, 40cm, 60cm, 90cm	$1,510.00

Trial or blank lead, Percutanous

St. Jude Medical Australia Pty Ltd

SJ160	ANS Spinal Cord Stimulation System 	Lead Extensions - in addition to 3341, 	60cm length	$1,510.00	When used in pain therapy - to

3342, 3343, 3382 and 3383, additional 	be funded when the patient has

model 3346 - Dual Quad Extension and 	undergone a multi-disciplinary

3386 - single octrode extension	assessment and trial of

4.5.4 Accessory/ accessory kit

Boston Scientific Australia Pty Ltd

BS120	Precision SCS Revision Pack	Lead Revision Pack; Hex Wrench, 	One Size Only	$800.00

Tunnelling Tool, Insertion Needles in

Medtronic Australasia Pty Ltd

MC694	Restore Rechargeable Neurostimulation 	External Patient Programmer Antenna 	One size only	$178.00

System	Model 37092

MC930	3550-P4 Passing Elevator Accessory Kit	Passing Elevator Accessory Kit	One size	$168.00

MC931	3550-63 Percutaneous Lead Introducer 	Percutaneous Lead Introducer Accessory	One size only	$168.00

Accessory Kit

Prostheses List by Category, Groups and Sponsor	Page 182 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ170	ANS Spinal Cord Stimulation System 	Boots, Connectors, Anchors, Strain Relief	One size only	$730.00	When used in pain therapy - to

be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

SJ173	ANS Spinal Cord Stimulation System 	Communication Magnet Model 1210	One type only	$150.00	When used in pain therapy - to

(SCS) GENESIS	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation

Implantable Accessory

Boston Scientific Australia Pty Ltd

BS121	Precision SCS IPG Port	IPG Port Plug	One Size Only	$100.00

Medtronic Australasia Pty Ltd

MC687	Neurostimulation System - Accessory 	Lead Accessory Plug and Closed Boot Kit	.	$168.00

Model 3550-29

MC731	Titan Anchor	Silicone with titanium insert	One size only	$168.00

Revision Kit

Medtronic Australasia Pty Ltd

MC094	Stimulator Accessory Kit - Pisces Quad;	Model 3550-10 revision kit. 1 x boot, 1 x 	One size only	$545.00	When used in pain therapy - to

Pisces Z Lead Revision Kit; Pisces 	twistlock anchor, 2 x silicone anchors, 1 	be funded when the patient has

Quad Revision Kit; Octad Revision Kit	x hex wrench, 1 x epidural needle 15 	undergone a multi-disciplinary

gauge, 1 x percutaneous extension (inline)	assessment and trial of

with set screws, 1 x ball-tipped (bent)

28cm stylet for Pisces-Quad lead, 1 x

MC689	Neurostimulation System - Lead 	Octad Lead Revision Kits Model 3550-26 	30 & 45cm; 60 & 75cm	$540.00

Revision Kits	& 3550-27

4.6.1 Implantable Infusion Pump

FFR (Fixed Flow Rate)

Medtronic Australasia Pty Ltd

MC061	Medtronic IsoMed Drug Infusion Pump.	Models 8472-20-03, 8472-20-05, 8472-	20ml, 35ml	$9,300.00

20-10, 8472-20-15. Models 8472-35-05,

8472-35-10, 8472-035-15.  Titanium

Prostheses List by Category, Groups and Sponsor	Page 183 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

VFR (Variable Flow Rate)

Medtronic Australasia Pty Ltd

MC313	Synchro Med II Pump	Model No's 8637-20 & 8637-40, 	20 ml & 40 ml	$16,250.00

Composition - Titanium

4.6.1 Intrathecal Infusion Pump

4.6.1.3 Separate patient programmer / therapy manager

Hospira Pty Limited

HO002	Crono Pump	Ambulatory infusion pump - Models:  	10-50 ml	$4,950.00

Crono 50, Crono PCA and Crono APO-

Medtronic Australasia Pty Ltd

MC944	8835 Personal Therapy Manager for 	Personal Therapy Manager for 	One size only	$1,350.00	$1,500.00

Synchromed Pumps	SynchroMed II implantable infusion

4.6.3 Catheter

Medtronic Australasia Pty Ltd

MC741	Indura Intrathecal Catheter	Sutureless pump connector, Silicone, 	One size only	$820.00	$1,100.00

Titanium and Nylon

Revision Kit

Medtronic Australasia Pty Ltd

MC774	8578 Sutureless Pump Connector	Sutureless Pump Connector: Material 	One size only	$600.00

radiopaque silicon titanium, nylon

MC817	Medtronic Intrathecal Catheter Revision 	Revision kit to repair proximal end of 	66cm	$500.00

Kit (Proximal)	intrathecal catheter (8596SC)

MC818	Medtronic Intrathecal Catheter Revision 	Revision kit to repair distal end of 	38.1cm	$500.00

Kit (Distal)	intrathecal catheter (8598A)

Prostheses List by Category, Groups and Sponsor	Page 184 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4.6.4 Accessories

Medtronic Australasia Pty Ltd

MC064	Implantable Drug Pump Accessories	8590-8, 8590-9 - Synchromed catheter 	20cm; one size only;  38-60cm	$163.00

accessory kit -  Radiopaque silicone,

8590RAC - Right angled connector -

Titanium, polyurethane,  8591-38, 8591-

60, 8590-41 Tunnelling rods - Stainless

Steel, 8575 Synchromed connector (40

degree) with catheter access

4.7 Neurostimulation Therapies for Anti-seizure

Aurora BioScience Pty Ltd

RA001	VNS Therapy Pulse/Pulse Duo	Model 102/102R Generator	One size only	$12,670.00

RA002	VNS Therapy Lead	Model 302	One size only	$3,400.00

4.8.1  Stent

4.8.1.1 Atherosclerotic stent

Boston Scientific Australia Pty Ltd

BS122	Wingspan Stent System	Wingspan Self Expanding Nitonol Stent 	Stent diameters: 2.5mm to 	$8,750.00

and delivery catheter	4.5mm; Stent lengths: 9.0mm to

4.8.1.2 Neurovascular stent

Boston Scientific Australia Pty Ltd

BS079	Neuroform 2 Microdelivery Stent 	Self-expanding nitinol stent, 3fr delivery 	Diameter: 2.5-4.5mm, Length: 	$7,500.00

catheter, peelable sheath, 2fr stabilising 	10mm-30mm

catheter, rotating haemostasis valve (x2)

BS098	Neuroform Microdelivery Stent System	Nitinol Self-Expanding Stent, 3fr delivery 	Diameter 2.5 - 4.5 mmLength 	$7,500.00

catheter, peelable sheath, 2fr stabilising 	10 - 30 mm

catheter, rotating haemostasis valve (x2)

Prostheses List by Category, Groups and Sponsor	Page 185 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ev3 Australia Pty Ltd

EE026	Solitaire	Solitaire Neurovascular Remodelling 	Diameter: 4-6mm	$7,500.00	$10,000.00

Device is a self-expanding, fully 	Length: 15-30mm

retrievable device which can be delivered

and deployed by a single operator.

Medtel Australia Pty Ltd

ME185	Pharos Neurovascular Stent	Balloon expandable stent for treatment of 	Diameter 2.0mm-5.0mm, length 	$7,500.00

intracranial artery stenosis and aneurysm	8mm-40mm

4.8.2 Embolisation, Intravascular Neurointerventional coils

Boston Scientific Australia Pty Ltd

BS027	Guglielmi Detachable Coil (GDC)	Stretch-Resistant Bare Platinum Coil	2-20mm x 4-30cm	$1,400.00

BS081	GDC 360 Shaped Detachable Coil	Stretch-Resistant Bare Platinum Coil, 360 	Length: 5cm to 40cm; Diameter:	$1,640.00

Shape	 2mm to 24mm

BS100	Matrix Detachable Coils	PGLA-Coated, Stretch-Resistant, 	Length: 2cm to 40cm, Diameter:	$1,850.00

Platinum Coils	 2mm to 24mm

Johnson & Johnson Medical Pty Ltd

JJ485	Trufill DCS Orbit detachable coil	Helical Fill	2mm - 12mm, 2cm - 30cm	$1,400.00

JJ486	Trufill DCS Orbit detachable coil	Complex Standard	6mm - 20mm, 15cm - 30cm	$1,505.00

JJ487	Trufill DCS Orbit detachable coil	Complex	2mm - 12mm, 1.5cm - 30cm	$1,505.00

Medtel Australia Pty Ltd

ME070	Micrus ACT Platinum Microcoil 	Platinum Coil	Helical Stretch Resistant - 2mm 	$1,400.00

Delivery System	x 1cm  - 10mm x 30cm

ME085	Micrus ACT Platinum Microcoil 	Platinum Coil	Helical - 2mm x 2cm - 10mm x 	$1,700.00

Delivery System	30cm

ME086	Micrus ACT Platinum Microcoil 	Platinum Coil	Helical Soft Stretch Resistant - 	$1,700.00

Delivery System	2mm x 1cm - 4mm x 8cm

ME087	Micrus ACT Platinum Microcoil 	Platinum Coil	Spherical - 2mm x 2.5cm - 	$1,545.00

Delivery System	19mm x 30cm

ME088	Micrus ACT Platinum Microcoil 	Platinum Coil	Straight - 4mm x 10cm - 6mm x	$1,445.00

Delivery System	 30cm

ME133	Micrus ACT Platinum Microcoil 	Cerecyte	Helical Cerecyte - 2mm x 2cm - 	$1,850.00	$1,950.00

Delivery System	10mm x 30cm

Prostheses List by Category, Groups and Sponsor	Page 186 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ME134	Micrus ACT Platinum Microcoil 	Cerecyte	Helical Soft Stretch Resistant 	$1,850.00	$1,950.00

Delivery System	Cerecyte - 2mm x 1cm - 4mm x

8cm

ME135	Micrus ACT Platinum Microcoil 	Cerecyte	Spherical Cerecyte - 2mm x 	$1,850.00	$1,950.00

Delivery System	2.5cm - 19mm x 30cm

ME183	Micrus Presidio Microcoil	Sterile, single use, embolic coil used for 	11.5-50cm (length)	$1,850.00	$2,700.00

the treatment of cerebral aneurysms

ME184	Micrus Cashmere Microcoil	Sterile, single use, embolic coil used for 	2.5 cm - 30 cm (length)	$1,950.00

the treatment of cerebral aneurysms

ME188	Micrus DELTAPAQ Platinum Coil	DELTAPAQ Platinum Coils for 	Coil Diameter from 1.5mm to 	$1,400.00	$2,100.00

endovascular embolisation of microcoils, 	10mm +/- .5mm   Coil Length

featuring a traingular wind pattern for 	from 1cm -.1/+0.25 to 25cm +/-

increased flexibility and comformance to

shape of aneurysm

ME189	Micrus DELTAPAQ Cerecyte Coil	DELTAPAQ Cerecyte Coils for 	Coil Diameter from 1.5mm to 	$1,400.00	$2,300.00

endovascular embolisation of microcoils, 	10mm +/- .5mm   Coil Length

featuring a triangular wind pattern for 	from 1cm-.1/+0.25 to 25 cm +/-

increased flexibility and conformance to

shape of aneurysm.

N Stenning  & Co Pty  Ltd

NG035	MicroPlex Coil System	Kit includes delivery pusher, introducer 	Coil Size 10, 18 - Loop Diameter	$1,505.00	$1,746.00

sheath, MCS complex coil	 2-14mm, 16,18,20mm, Length

1-4cm, 6-13cm, 15-21cm, 23-

24cm, 26-28cm, 30-34cm, 38-

39cm, 43-44cm, 49-50cm

Penumbra Neuro Australia Pty Ltd

PN001	Penumbra Reperfusion Catheter	Intracranial reperfusion catheter	Outer diameter: 2.8, 3.4, 4.1FR; 	$1,560.00

Working length: 150, 150,

PN002	Penumbra Separator	Intracranial reperfusion separator	Outer diameter:0.56, 0.71, 	$2,100.00	$3,275.00

0.89mm. Working length: 155,

155, 142

William A Cook Australia Pty Ltd

WC061	Detachable Coil System	Microembolisation Coils - Platinum	011/018 2-20mm diameter, 2 - 	$785.90

50cm length

Prostheses List by Category, Groups and Sponsor	Page 187 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

*second generation, *hydrogel technology

N Stenning  & Co Pty  Ltd

NG038	MicroPlex Coil System, Hypersoft System	Microplex Hypersoft/Complex/Helical Coils	2mm D x 1cm L - 6mm D x 	$1,505.00	$1,746.00

8cm L2mm D x 4cm L - 6mm

D x 15cm L5mm D x 20cm L

- 20mm x 30cm L2mm D x

2cm L - 4mm D x 10cm L

5mm D x 15cm L - 10mm D x

NG039	MicroPlex Coil System; Hydrocoil System	HES Helical Coils Hydrocoils	2mm D x 2cm L - 6mm D x 	$1,854.00	$2,088.00

NG040	MicroPlex Coil System; Hydrocoil System	HES Helical Coils Hydrocoils	2mm D x 3cm L - 10mm D x 	$2,266.00	$2,552.00

20cm L

NG041	MicroPlex Coil System, Hydrocoil System	HES Helical Coils Hydrocoils	6mm D x 10cm L - 20mm D x 	$2,600.00

20cm L

4.8.2.1 Embolisation, Intravascular Neurointerventional coils with guiding system

ev3 Australia Pty Ltd

EE028	LRS Actuator	LRS Actuator is a sterile, hand held 	Length 5.75", Diameter 1", 	$350.00

mechanical unit with a thumb slide that 	Weight 28 grams

detaches the coil. When the slider is

retracted while the pusher is loaded, it

releases the coil into the targeted

vaculature. Coils cannot be deployed

4.8.3 vascular coil

Boston Scientific Australia Pty Ltd

BS021	Fibred Platinum Coils, Braided 	Platinum Coil and Microcatheter Delivery 	Delivery device lengths up to 	$1,250.00

Occlusion Device (BOD), Vortx, Vortx 	System	175cm.  Sizes of coils Diameter

Diamond,Interlock Fibered IDC Coils, 	2mm - 30mm and lengths 2mm

Excelsior, Tracker, FasTracker, 	- 100mm.

Turbotracker, Renegade, Spinnaker Elite

Prostheses List by Category, Groups and Sponsor	Page 188 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Barrier, Absorbable, Adhesion Prevention

Lifehealthcare Pty Ltd

LH001	Oxiplex Absorbable Adhesion Barrier 	Oxiplex Absorbable Adhesion Barrier gel 	3ml in sterile 3ml syringe	$1,300.00

(Oxiplex is a co-polymer gel composed of

carboxymethylcellulose and polyethylene.)

W L Gore & Associates

GT232	Gore Preclude® Vessel Guard	Gore Preclude® Vessel Guard is an 	6cm x 10cm	$1,300.00	$1,460.00

ePTFE Membrane with a tight

microstructure providing a vessel friendly

interface while preventing penetration of

fibroblasts.  It is indicated as a cover for

vessels following anterior vertebral

surgery to reduce the risk of potential

vessel damage during a revision surgery

Catheter, Infusion

ev3 Australia Pty Ltd

EE027	ev3 Micro Catheters	For the delivery of therapeutic agents 	Length: 135 - 170cm; Diameter: 	$700.00

such as embolisation coils and liquid 	3.0 - 1.3 Fr

embolics. The Rebar Micro Catheter is

the only one on the market which also

Johnson & Johnson Medical Pty Ltd

JJ488	Prowler Infusion Microcatheters, 	Proprietary braid / coil reinforced 	Size:  150cm - 170cm.  Distal 	$719.00

Prowler Select LPES, Prowler Select 	technology.  Proximal braided shaft.  	length:  5cm - 50cm

Plus, Prowler 14, Prowler Select pre-	Prowler Select LPES infusion catheter.

shaped - Coil delivery system	Prowler Select Plus infusion catheter.

Prowler 14 infusion catheter

Prostheses List by Category, Groups and Sponsor	Page 189 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Embolisation Prostheses, Intravascular

N Stenning  & Co Pty  Ltd

NG054	MicroVention MicroPlex Coil system, 	MicroVention Cosmos Coil System is 	Diameter (mm)/Length (cm): 	$1,400.00	$1,471.00

Cosmos Complex Coil	designed to provide a stable periphery 	3/6; 4/8; 4/12; 5/15; 5/18; 5/22;

frame and greater volume fill.  The 	6/17; 6/18; 6/19; 6/22; 6/26;

Cosmos coils are made of platinum alloy 	7/22; 7/23; 7/31; 8/25; 8/27;

(pt/W: 92/8). The coil is attached to a V-	8/37; 9/31; 10/36; 11/39; 12/43;

TrakTM delivery pusher via the polyolefin	13/47; 14/51; 15/55; 16/52;

elastomer member.  The delivery pusher

is a variable stiffness, stainless steel/Pt,

tapered mandrel. The pusher consists of a

radiopaque positioning marker that is

inserted into a hand held battery powered

Vgrip Detachment Controller.

NG055	MicroVention HydroFrame HydroCoil 	For treatment of endovascular 	Loop diameter (mm)/length 	$1,836.00

Embolisation System (HES)	embolisation of intracranial aneuryms and	(cm):  3/6; 4/5; 4/8; 5/10; 5/15;

other neurovascular abnormalities such 	6/12; 6/19; 7/15; 7/28; 8/17;

as arteriovenous malformations (AVM)

and arteriovenous fistulae (AVF).  The

coils are also intended for vascular

occlusion of blood vessels within the

neurovascular system to permanently

obstruct blood flow to an aneurysm or

other vascular malformation and for

arterial and venous embolisation in the

peripheral vasculature.

Group 1- Fixation: Bone Screw

Group 1a - Bone Screw, Monoaxial

B Braun Australia Pty Ltd

BB226	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 4.5mm & 5mm  - all 	$930.00	$1,200.00

lengths 25 - 60mm

BB227	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 6.0mm, 7.0mm & 	$930.00	$1,200.00

8.0mm - all lengths 25 - 60mm

Global Manufacturing Technology Pty Ltd

GM034	Optimal Spinal System	Pedicle Screw Monoaxial Type	4 x 25 to 8 x 55mm	$930.00

Prostheses List by Category, Groups and Sponsor	Page 190 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO089	Incompass	Thoracolumbar Fixation System, Fixed 	4.5 - 8.5mm	$930.00

Angle Screw Open

GO090	Incompass	Thoracolumbar Fixation System, Fixed 	4.5 - 8.5mm	$930.00

Angle Screw Closed

GO105	OctaFix	Occipital Cervical Plating System	Closed Screw 4mm	$900.00	$1,004.00

Johnson & Johnson Medical Pty Ltd

DP306	Moss Miami (Stainless Steel)	Monoaxial Screws	5 - 8mm x 25 - 60mm	$930.00

DP407	Moss Miami (Titanium)	Monoaxial Screw	5 - 8mm x 25 - 60mm	$930.00

DP489	Isola Paediatric System (Stainless Steel)	Cable Wire Screw	4.75 - 5.50mm x 25 - 30mm	$610.00

DP576	Kaneda Anterior Scoliosis System  S/S	Open Screw - Standard or Blunt	3/16" - 6.25mm x 25 - 50mm	$930.00

DP847	Moss Miami 4mm Anterior System (SS)	Screws - Monoaxial	6mm x 25 - 55mm	$930.00

DY078	Kaneda SR Anterior	Kaneda SR Anterior Open Screw	1/4"-6.25mm x 25-60mm, 3/16"	$930.00

DY309	Frontier Anterior Scoliosis System 	Bone Screws	5.5 x 25-40mm, 6.5 x 25-	$930.00

(Titanium)	60mm, 7.5 x 35-60mm

DY401	Monarch Monoaxial Pedicle Screw	Monarch Monoaxial Pedicle Screw	4.75mm - 8.5mm x 25 to 80mm	$930.00

length

DY441	Expedium Spine System	Monoaxial Screw	4.35 to 10mm diameter x 20-	$930.00

100mm length

JJ645	Monoaxial Screw - Expedium Anterior 	Monoaxial Screw - Titanium	Diameters 5-7mm x Lengths 20-	$930.00

Spine System	60mm

JJ772	Anterior Isola System	Open Monoaxial Screw	1/4" x 5.5 - 7mm x 20 - 55mm	$930.00

Lifehealthcare Pty Ltd

LH450	DSS Pedicle Screw	The DSS Pedicle Screw is a mono-axial 	5.0mm diameter x 30, 35, 40, 	$930.00

pedicle screw designed for implantation in	45, 50, 55, 60mm length

the posterior throacolumbar spine for 	6.0mm diameter x 30, 35, 40,

skeletally mature patients	45, 50, 55, 60mm length

7.0mm diameter x 30, 35, 40,

45, 50, 55, 60mm length

8.0mm diameter x 30, 35, 40,

45, 50, 55, 60mm length

LSS Surgical Pty Limited

LS005	Solas Spinal System	Monoaxial Pedicle	4 x 25mm to 8 x 55mm	$930.00

Prostheses List by Category, Groups and Sponsor	Page 191 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LS021	SOCORE Spinal System - Monoaxial	Pedicle Screw - Monoaxial	Diameter 45mm 25mm to 40mm	$930.00

Length. Diameter 5mm 30mm

to 50mm Length. Diameter 6mm

30mm to 55mm Length.

Diameter 7mm 30mm to 50mm

Length. Diameter 8mm 40mm

Medtronic Australasia Pty Ltd

MC402	CD Horizon	Pedicle Screws	Diameter 4.5 - 7.5mm  Length 	$930.00	$1,037.00

25 - 80mm

MC503	CD Horizon	Fixed Angle Screw	25 - 90mm	$930.00	$1,037.00

MC860	Silo	Fixed Screw	4.5 - 8.5mm Diameter	$930.00

Nuvasive Australia and NZ  Pty Ltd

NV001	SpheRx	Cannulated Fixed Axis Screw	4.5 - 8.5mm diameter	$990.00

25 - 65mm length

Orthotech Pty Ltd

OH037	Synergy/Polaris Spinal System	Open/Closed Screws	5.5 to 8.0mm dia	$930.00	$1,300.00

OH051	Synergy Spinal System	Iliac Screw	6.0 - 10.0mm	$930.00	$1,300.00

OH210	Array Spinal System	Titanium Alloy Modular Spinal System - 	5.5 - 7.5mm x 30 - 55mm	$930.00	$1,300.00

fixed screw

OH357	Novel Mono screw	Mono axial pedicle screw	4.0-8.5	$900.00	$1,050.00

Scient'x Australia

SX026	MX System Open Monoaxial Screw	Open monoaxial pedicle screw	Diameter 5.5mm; 6.2mm; 7mm 	$930.00

- length 35mm; 40mm; 45mm;

SX028	MX System Closed Monoaxial Screw	Closed monoaxial pedicle screw	Diameter 5.5mm; 6.2mm; 7mm 	$930.00

- Length 35mm; 40mm; 45mm

SX032	Isobar TTL Monoaxial Screw	In Module Monoaxial Pedicle Screw	Diameter 4.5mm; 5.5mm; 	$930.00

6.2mm; 7mm - Length 25mm;

30mm; 35mm; 40mm; 45mm;

50mm; 55mm

Stryker Australia Pty Ltd

HW385	Xia Spine System	Monoaxial Screw	Dia 4.5 - 8.5mm Length 25 - 	$930.00	$1,103.00

Synthes Australia Pty Ltd

SY549	Pangea Spinal System	Preassembled Monoaxial Pedicle Screw - 	Diameter, 4.0mm to 10mm, 	$930.00

Thoracic, Lumbar and Sacral Spine	Length, 20mm to 120mm

Prostheses List by Category, Groups and Sponsor	Page 192 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI476	Silhouette Spinal System Implants	Fixed Screw with Tab Extensions	5.5 x 25mm to 8.5 x 60mm	$930.00

ZI669	Incompass	Thoracolumbar Fixation System, Fixed 	4.5 - 8.5mm	$930.00

Angle Screw Open

ZI670	Incompass	Thoracolumbar Fixation System, Fixed 	4.5 - 8.5mm	$930.00

Angle Screw Closed

ZI684	OctaFix	Occipital Cervical Plating System	Closed Screw 4mm	$900.00	$1,004.00

ZI702	Java screw system	Monoaxial pedicle screw	diam 4.5 lg 35, 40, 45; diam 5 lg	$930.00	$1,275.00

35, 40,45, 50,55, 60; diam 5.5

lg 35, 40, 45, 50, 55; diam 6 lg

35, 40, 45, 50, 55, 60; diam 6.5

lg 35, 40, 45, 50, 55, 60; diam 7

lg 35, 40, 45, 50, 55, 60; diam

7.5 lg 35, 40, 55, 60; diam 8 lg

35, 40, 45, 50, 55, 60

1 - System

Synthes Australia Pty Ltd

SY175	Universal Spine System (USS)	Pedicle Screw - USSII	25 - 140mm	$1,215.00	$1,350.00

SY192	Universal Spine System (USS)	Pedicle screw	Length 70 - 140mm	$1,215.00	$1,517.00

2 - Cannulated

Global Orthopaedic Technology

GO108	OctaFix	Occipital Cervical Plating System	Bone Screw 3.5 - 4.0mm	$960.00

Orthotech Pty Ltd

OH355	Novel Cannulated Mono screw	Mono axial cannulated pedicle screw	5.5-8.5	$960.00	$1,050.00

Zimmer Pty Ltd

ZI687	OctaFix	Occipital Cervical Plating System	Bone Screw 3.5 - 4.0mm	$960.00

3 - With Cap / Cover Plate

Orthotech Pty Ltd

OH354	Novel Reduction Mono screw	Mono axial REDUCTION pedicle screw	5.5-8.5	$900.00	$1,450.00

Scient'x Australia

SX001	Isobar TTL	Monoaxial Screw	D: 4.5 - 8mm, L: 25 - 50mm	$990.00

Prostheses List by Category, Groups and Sponsor	Page 193 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4 - Closed

Johnson & Johnson Medical Pty Ltd

DP449	Kaneda SR (Smooth Rod) Anterior  (TI)	Closed Screw	1/4" - 6.25mm x 25 - 60mm	$930.00

DP577	Kaneda Anterior Scoliosis System  S/S	Closed Screw  - Standard or Blunt	3/16" - 6.25mm x 25 - 60mm	$930.00

JJ773	Anterior Isola System	Closed Monoaxial Screw	1/4" x 5.5 - 7mm x 20 - 55mm	$930.00

Lifehealthcare Pty Ltd

LH247	Blackstone - Spinal Fixation System - 	Composition - Titanium	5.5mm x 40mm, 5.5mm x 	$930.00

Mono Axial Screws	45mm, 6.5mm x 40mm and

Medtronic Australasia Pty Ltd

MC823	CD Horizon	Legacy Fixed Iliac Screw	5.5mm to 8.5mm Diameter	$1,188.00

c - Complex

Medtronic Australasia Pty Ltd

MC636	CD Horizon	Eclipse Dual Head Screws	20-60mm	$1,037.00

MC862	Silo	Sagittal Screw	4.5 - 8.5mm Diameter	$1,037.00

Group 1b - Bone Screw, Polyaxial

Austspine Pty Ltd

AJ016	Denali Spinal System / Polyaxial Pedicle 	Polyaxial Pedicle Screw	Diameter:  4.5, 5.5, 6.5, 7.5, 	$1,330.00

Screw	8.5mm and Length:

25,30,35,40,45,50,55,60,65mm

AJ022	Smartloc Spinal Fixation 	Polyaxial Pedicle Screw and Reduction 	Length 30mm - 50mm Diameter	$1,330.00

System/Polyaxial Pedicle Screw & 	 4.5mm, 5.5mm, 6.5mm,

7.0mm, 8.0mm

AJ025	Mesa Spinal System / Polyaxial Pedicle 	Polyaxial Pedicle Screw	4.5, 5.5, 6.5, 7.5, 8.5mm	$1,330.00	$1,500.00

Screw

AJ035	Capsian OCT Spinal  System -  Mini 	cervico-thoracic posterior rigid fixation 	Diameter: 3.5mm and 4.0mm 	$1,330.00

Mesa Polyaxial Screw	system	screws

Length: 10mm - 20mm (2mm

increments)

25mm - 50mm (5mm

B Braun Australia Pty Ltd

BB224	S4 Spinal System	Polyaxial Screw - titanium various sizes	All sizes	$1,330.00	$1,550.00

BB225	S4 Spinal System	Polyaxial Screw - Titanium various sizes	Diameter 6.0mm, 7.0mm & 	$1,330.00	$1,550.00

8.0mm - all lengths 25 - 60mm

Prostheses List by Category, Groups and Sponsor	Page 194 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM035	Optimal Spinal System	Pedicle Screw-Poly Type	5 x 30 to 8 x 55mm	$1,330.00

GM068	BacFix (Thoracolumbar System)	Multi axial bone screw  - Nitinol	5 - 8mm x 30 - 60mm	$1,330.00

GM074	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - 	5 - 8mm x 30 - 60mm	$1,330.00

Titanium alloy

Global Orthopaedic Technology

GO080	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 4.00mmx22mm	$1,330.00

GO088	Incompass	Thoracolumbar Fixation System, 	5.5 - 7.5	$1,330.00

Polyaxial Screw Open

Johnson & Johnson Medical Pty Ltd

DP307	Moss Miami (Stainless Steel)	Polyaxial Screws	4.35 - 8mm x 25 - 90mm	$1,330.00

DP408	Moss Miami (Titanium)	Polyaxial Screw	5 - 8mm x 25 - 60mm	$1,330.00

DP848	Moss Miami 4mm Anterior System (SS)	Screws - Polyaxial	6mm x 25 - 55mm	$1,330.00

DY171	Monarch Spinal System	Pedicle Screws - Polyaxial	4.75 - 8.5 mm x 30 - 55mm	$1,330.00

DY339	Summit Cervical Rod System	Mini Polyaxial Screw Standard or High	3.5mm x 12-50mm	$1,330.00

DY431	Expedium Spine System	Si Polyaxial Screw	4.35 - 11mm x 20 - 100mm	$1,330.00

DY440	Expedium Spine System	Di Polyaxial Screw	4.35 -10mm diameter 20 -	$1,330.00

100mm length

DY442	Summit SI System	Polyaxial Screw - Mini Favoured Angle	3.5 or 4mm diameter x 12-	$1,330.00

48mm length

JJ586	Expedium	Uni-Planar deformity correction 	4.35-10mm Diameter, 20- 	$1,330.00

100mm Length

JJ593	Mountaineer OCT Spinal System	CT Minipolyaxial Screw - Favoured 	3.5-4.35mm x 12 - 50mm	$1,330.00

Angle and Medial/Lateral

JJ738	Expedium Spine System	DI Favoured Angle Reduction Tab 	4.35-10mm Diameter 20 - 	$1,330.00

Polyaxial Screw	100mm Length

LSS Surgical Pty Limited

LS006	Solas Spinal System	Polyaxial Pedicle	4 x 30mm to 8 x 55mm	$1,330.00

LS015	SOCORE Spinal System - Pedicle 	Pedicle Screw- Polyaxial. Pedicle Screw -	Diameter 4mm 25mm to 40mm 	$1,330.00

Reduction	Length. Diameter 5mm 30mm to

50mm Length. Diameter 6mm

30mm to 55mm length.

Diameter 7mm 30mm to 50mm

Length. Diameter 8mm 40mm

Prostheses List by Category, Groups and Sponsor	Page 195 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC501	CD Horizon	Multi-Axial screw (Stainless Steel)	25 - 80mm	$1,330.00	$1,422.00

MC502	CD Horizon	Multi-axial screw (Titanium)	25 - 80mm	$1,330.00	$1,380.00

MC545	Vertex Spinal System	Screws	Diameter 3.5 - 4.5mm Length 6 	$1,330.00	$1,644.00

- 52mm

MC579	CD Horizon	Spondylolisthesis Screw	Diameter: 4.5 - 7.5, Length: 	$1,330.00	$1,655.00

25mm - 50mm

MC675	CD Horizon	Legacy Screw	Diameter 4.0 - 10.5mm	$1,330.00	$1,530.00

MC861	Silo	Mutliaxial Screw	4.5 - 8.5mm Diameter	$1,330.00

Nuvasive Australia and NZ  Pty Ltd

NV024	VuePoint screw (multi axial)	The VuePoint system, of which the 	3.5mm x (10-34mm)	$1,330.00

VuePoint screw (multi axial) is a 	3.5mm x (24-36mm)

component, is intended to promote fusion	4.0mm x (10-40mm)

of the cervical spine and occipito-	4.5mm x (10-40mm)

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Orthotech Pty Ltd

OH207	Altius Occipito-Cervico-Thoracic 	Screws	8mm to 32mm	$600.00

(OCT) System

OH211	Array/Ballista Spinal System	Titanium Alloy Modular Spinal System - 	5.5 - 7.5mm x 30 - 55mm	$1,330.00	$1,400.00

multiaxial screw

OH358	Novel Mono screw	Poly axial pedicle screw	4.0-8.5	$1,330.00

Scient'x Australia

SX020	TTC-screw	Polyaxial screws	$1,330.00

SX027	MX System Polyaxial Screw	Polyaxial Pedicle Screw	Diameter 5.5mm; 6.2mm; 7mm 	$1,330.00

- Length 35mm; 40mm; 45mm;

50mm

Prostheses List by Category, Groups and Sponsor	Page 196 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SX031	Isobar TTL Polyaxial Screw	In Module Polyaxial Pedicle Screw	Diameter 4.5mm; 5.5mm; 	$1,330.00

6.2mm; 7mm - Length 25mm;

30mm; 35mm; 40mm; 45mm;

50mm; 55mm

Stryker Australia Pty Ltd

HW384	Xia Spine System	Polyaxial Screw	Dia 4.5 - 8.5mm Length 25 - 	$1,330.00	$1,605.00

SK225	Oasys-Occipito Cervico Thoracic System	Multiaxial Screw	3.5mm x 10mm - 40mm	$1,330.00

4.0mm x 10mm - 50mm

Synthes Australia Pty Ltd

SY007	Click'X Spinal Fixation System	Pedicle Screw: Preassembled	Length 25-80mm	$1,330.00

SY289	USS llio-Sacral Fixation system	Polyaxial screw	20mm to 140mm	$1,330.00	$1,390.00

SY309	Axon Spinal System	Variable axis screw	3.0mm - 4.5mm diameter, 4mm 	$1,330.00

to 60mm length

SY337	Universal Spinal System (USS)	Polyaxial Pedicle Screw, titanium	4.0mm to 9.00mm	$1,330.00	$1,700.00

SY441	Synapse	Posterior Cervical Polyaxial Screw 	3.5mm-4.5mm Diameter; 8mm-	$1,330.00

50mm Length

SY447	Spinal Fixation System	Universal Reduction Screw	4.0mm - 9.0mm Diameter; 	$1,330.00	$1,400.00

20mm-100mm Length

SY548	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - 	Diameter, 4.0mm to 10mm, 	$1,330.00	$1,790.00

Thoracic, Lumbar and Sacral Spine	Length, 20mm to 120mm

Zimmer Pty Ltd

ZI475	Silhouette Spinal System Implants	Polyaxial Screw Assembly with Tabs	5.5 x 25mm to 8.5 x 60mm	$1,330.00

ZI514	Optima Spinal System - Polyaxial 	Polyaxial Pedicle Screw System	$1,330.00

Pedicle Screw System

ZI616	SEQUOIA PEDICLE SCREW SYSTEM	Polyaxial Screw	4.5mm - 8.5mm dia, 25mm-	$1,330.00

60mm length

ZI637	BacFix (Thoracolumbar System)	Multi axial bone screw  - Nitinol	5 - 8mm x 30 - 60mm	$1,330.00

ZI643	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - 	5 - 8mm x 30 - 60mm	$1,330.00

Titanium alloy

ZI660	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 	$1,330.00

4.00mmx22mm; 4.5 x 20-

40mm(5mm increments);

5.5mm x 20-45mm (5mm

ZI668	Incompass	Thoracolumbar Fixation System, 	5.5 - 7.5	$1,330.00

Polyaxial Screw Open

Prostheses List by Category, Groups and Sponsor	Page 197 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI705	Java screw system	Poly axial screw	TL pedicle screw diam 4 lg 35; 	$1,330.00	$1,475.00

diam 5 lg 35, 40, 45, 50, 55;

diam 6 lg 35, 40, 45, 50, 55;

diam 7 lg 35, 40, 45, 50, 55;

diam 5.5 lg 35, 40, 45, 50, 55,

60; diam 6 lg 60; diam 6.5 lg 35,

40, 45, 50, 55, 60; diam 7 lg

60; diam 7.5 lg 35, 40, 45, 50,

1 - System

B Braun Australia Pty Ltd

BB011	Spine System Evolution	Screw	Dia 5 - 8mm, length 30 - 55mm	$665.00

Orthotech Pty Ltd

OH047	Synergy/Polaris Spinal System	Variable Locking Screws	4.75-8.5mm	$665.00	$950.00

Synthes Australia Pty Ltd

SY179	Spinal Fixation System	Pedicle Screw (without head)	L:30-100mm, D:4-9mm	$665.00

SY379	Universal Spine System (USS)	USS II Polyaxial/Lotus Screw or Head	Head 5mm / 6mmScrew 	$665.00	$850.00

diameter 4,5,6,7,8mm, Length -

2 - Cannulated

Austspine Pty Ltd

AJ033	Denali cannulated polyaxial screw	Cannulated polyaxial pedicle screw	Diameter:  5.5mm, 6.5mm and 	$1,330.00

7.5mm  Length:  35 to 55mm

Global Orthopaedic Technology

GO102	Pathfinder	Minimally invasive pedicle fixation system	Cannulated Polyaxial Screws 6.5	$1,390.00	$1,530.00

- 7.5mm

Johnson & Johnson Medical Pty Ltd

JJ522	Viper2 Spine System	Polyaxial Screw, with and without tab	35 - 55mm	$1,390.00

Medtronic Australasia Pty Ltd

MC439	CD Horizon	Cannulated Pedicle Screw	20mm - 80mm	$1,390.00	$1,650.00

MC586	CD Horizon Sextant Percutaneous 	Cannulated titanium percutaneous multi 	Dia 3.5 to 9.5mm, Length 15 to 	$1,390.00	$1,582.00

Cannulated Multi Axial Screw	axial screw	65mm

MC736	Vertex Max Cannulated Screw	Posterior cannulated cervical screw	Diameter 3.5 - 4.5mm	$1,390.00	$1,639.00

Length 20 - 60mm

Nuvasive Australia and NZ  Pty Ltd

NV019	System:  SphRX Component: 	Cannulated Polyaxial Screw, Fixation 	45-7.5mm Diameter; 25-80mm 	$1,390.00

Cannulated Polyaxial Screw	Bone Screws	Length

Prostheses List by Category, Groups and Sponsor	Page 198 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH356	Novel Cannulated poly screw	Poly axial cannulated pedicle screw	5.5-8.0	$1,390.00

Stryker Australia Pty Ltd

SR042	MANTIS	Screw, Cannulated, Multiaxial, Ti	4.5mm - 7.5mm x 25mm - 60mm	$1,390.00	$1,700.00

Synthes Australia Pty Ltd

SY336	Click'x Spinal System	Cannulated Screws	4.0mm to 9.0mm	$1,390.00

SY461	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - 	Diameter, 4.0mm to 10mm.	$1,390.00	$1,790.00

Thoracic, Lumbar and Sacral Spine, 	Length, 20mm to 120mm

Cannulated

Zimmer Pty Ltd

ZI681	Pathfinder	Minimally invasive pedicle fixation system	Cannulated Polyaxial Screws 6.5	$1,390.00	$1,530.00

- 7.5mm

3 - With Cap / Cover Plate

Lifehealthcare Pty Ltd

LH240	Spinal Fixation System	Multi screw - Titanium	5.5 x 35mm up to 55mm in 	$1,330.00

5mm increments; 6.5 x 35mm

up to 60mm in 5mm increments;

7.5 x 35mm up to 60mm in

5mm increments

LH280	Blackstone - Posterior Cervical System	Mini-Multi-Axial Screw	3.5-4mmx10-30mm (2mm 	$1,330.00

increments)

Orthotech Pty Ltd

OH353	Novel Reduction Poly Screw	Poly axial REDUCTION pedicle screw	5.5-8.5	$1,330.00

Scient'x Australia

SX002	Isobar TTL	Polyaxial Screw	D: 4.5 - 8mm, L: 30 - 55mm	$1,330.00

3 - With Cap / Cover Plate, 2 - Cannulated

Lifehealthcare Pty Ltd

LH310	ICON Modular Spinal Fixation System	Screw	4.5mm - 8.5mm x 25-80mm	$665.00

4 - Closed

Medtronic Australasia Pty Ltd

MC822	CD Horizon	Legacy Multiaxial Iliac Screw	5.5mm to 8.5mm Diameter	$1,330.00

Prostheses List by Category, Groups and Sponsor	Page 199 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

C - Complex

Medtronic Australasia Pty Ltd

MC749	Legacy HA Coated Screw	Hydroxyapatite coated pedicle screw	4.5mm - 8.5mm	$1,330.00	$1,758.00

Group 1c - Bone Screw, Standard

Austofix

AX060	Spider Cervical Plating System - Spider 	Titanium, Self Tapping and Self Drilling	4.0 - 4.25mm, lengths 12-16mm	$200.00

Screw

Austspine Pty Ltd

AJ031	Cayman Thoracolumbar Plate System / 	Self tapping screw that lags plate to bone 	Length: 20mm to 54mm  	$250.00

Bone Screw	and forms an autogenic lock with plate.  	Diameter:  6mm and 7mm

Available in two diameters and a variety

Global Manufacturing Technology Pty Ltd

GM025	Maxima/Optima Anterior Cervical Plate 	Cancellous Bone Screws	3.5 x 10mm to 20mm; 4.0 x 	$200.00

System	10mm to 20mm

GM060	Maxima/Optima Anterior Cervical Plate 	Pedicle Screw - Mono Axial Type	4.5 mm -8.5mm Length 25mm-	$150.00	$900.00

System	60mm

GM077	AcuFix	Cancellous bone screw - Anterior cervical	4mm x 10 - 18mm	$150.00	$195.00

plate system - Titanium

GM078	AcuFix	Self tapping wide root screw - Anterior 	4mm x 10 - 18mm	$150.00	$195.00

cervical plate system - Titanium

GM079	AcuFix	Rescue screw - Anterior cervical plate 	4.5mm x 10 - 18mm	$150.00	$195.00

system - Titanium

Global Orthopaedic Technology

GO107	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm	$150.00	$880.00

Johnson & Johnson Medical Pty Ltd

DP830	Profile Anterior Thoracolumbar Plate 	Cancellous Screw	6mm x 20 - 60mm	$250.00

System

DP833	Profile Anterior Thoracolumbar Plate 	Graft Screw	15 - 30mm  	$250.00

System

DY110	Carbon Fibre Cages	Stackable Cage Titanium Interface Screws	M4 / M5	$250.00

DY300	Slim-loc Anterior Cervical Plate System	Screws self tapping	4.5 x 12 - 26mm	$200.00	$230.00

DY301	Slim-loc Anterior Cervical Plate System	Screws - Large Diameter	4.8 x 12-16mm	$200.00	$230.00

Prostheses List by Category, Groups and Sponsor	Page 200 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY302	Slim-loc Anterior Cervical Plate System	Screws - Self Drilling	4.5 x 12-18mm	$200.00	$230.00

DY333	Summit Cervical Rod System	Occipital Bone Screw	4.5 - 5.25 Dia x 6 -16mm length	$220.00

DY338	Summit Cervical Rod System	Cancellous Bone Screw	3.5-4.5mm x 12-48mm	$150.00	$200.00

DY452	Swift Spine System	Titanium Anterior Cervical Plate System -	10 - 18mm	$200.00	$539.00

3.8mm Self-Drilling/Tapping Screw

DY453	Swift/Eagle Anterior Cervical System	Titanium Self Drilling/Self Tapping Screw	4.2mm x 10-18mm	$200.00	$539.00

DY454	Swift Spine System	Titanium Anterior Cervical Plate System -	10 - 28mm	$200.00	$539.00

3.8mm Bicortical Screw

DY455	Swift Spine System	Titanium Anterior Cervical Plate System -	10mm	$200.00	$539.00

Graft Screw

JJ690	Mountaineer OCT Spinal System - OC 	Occipital - titanium bone screw	4.5 - 5.25 x 6 - 16	$240.00

screw

Lifehealthcare Pty Ltd

LH194	Blackstone Medical Inc Anterior 	Bone Screw, Primary/Rescue Screw	12, 14, 16mm	$200.00

Cervical Plate System

LH275	Blackstone - Posterior Cervical System	Occipital Screw	6, 8, 10, 12, 14mm	$220.00

LH325	Lumbar Screw	ECF in PEEK optima	32, 36, 40, 44, 48, 52, 56, 60, 	$250.00

65mm

LH364	Unity Lumbar Plate	Unity Bone Screw	6-7mm	$250.00	$300.00

LH398	Blackstone Medical ACP Bone Screw	Titanium Alloy Bone Screw	4.1mm x 10mm - 18mm. 	$200.00

4.5mm x 10mm - 18mm

LH447	Pillar SA	The Pillar SA PEEK Spacer system is 	5.0x25, 30, 35mm screws	$250.00

comprised of a variety of implants

manufactured from PEEK-OPTIMA LT

as described by ASTM F-2026, with

tantalum markers as described by ASTM

F-560. The implants are available in

multiple footprint sizes a variety of

heights and two angles of lordosis: 7º and

12º. The implant incorporates integrated

anterior screw holes to allow for medial

placement of screws as well as a titanium

plate for securing the screws in one

place. The superior and inferior of the

implant have a pattern of ripples that

provide increased stability and help

movement of the device.

Prostheses List by Category, Groups and Sponsor	Page 201 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS011	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System -	12-20mm	$200.00	$800.00

4mm Self-Drilling/Tapping Screw

LS012	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System -	12-20mm	$200.00	$800.00

4.35mm Slef-Drilling/Tapping Screw

LS018	MATRIS Cervical Plate System	Cervical Screws	4mm 10mm to 24mm	$200.00	$800.00

LS019	MATRIS Cervical Plate System	Cervical Screws	4.5mm 12mm to 22mm	$200.00	$800.00

Medtronic Australasia Pty Ltd

MC296	Vertex Spinal System	Occipital Screws	 3.0 - 5.0 mm diameter, 4 - 30 	$220.00	$250.00

mm length

MC310	Centerpiece	TiMesh LP	Screw	$150.00	$250.00

MC343	Venture Self Drilling Screws	single or multi level plate construct, 	4.0mm x 8mm - 21mm ; 4.5mm	$200.00

titanium alloy	 x 8mm -21mm variable Angled

MC344	Venture Self Drilling Screws	single or multi level plate construct, 	4.0mm x 8mm - 21mm, 4.5mm 	$200.00

titanium alloy	x 8mm - 21mm Fixed Angled

MC347	Venture Self tapping Screws	Single or multi level plate construct, 	4.0mm x 8mm - 21mm; 4.5mm 	$200.00

titanium alloy.	x 8mm - 21mm Variable Angled

MC348	Venture Self tapping Screws	Single or multi level plate construct, 	4.0mm x 8mm - 21mm; 4.5mm 	$200.00

titanium alloy.	x 8mm - 21mm Fixed Angled

MC384	Colorado 2	Pedicle Screw	Diameter 4.5 - 8.5mm Length 	$600.00	$933.00

30 - 80mm

MC423	Atlantis	Fixed Angle Cancellous Screw	10-20mm	$200.00

MC424	Atlantis	Variable Angle Cancellous Screw	10-20mm	$200.00

MC482	Axis Cervical Plating System	Screw: Cancellous	6 - 24mm	$250.00

MC483	Axis Cervical Plating System	Screw: Cortical	26 - 54mm	$150.00	$250.00

MC511	Premier Anterior Cervical Plate System	Screws	10 20mm	$200.00

MC611	Vantage	Vantage Plates and Screws; Thoracic 	5.5 x 15-50mm	$250.00	$582.00

MC613	Vantage	Vantage Plates and Screws; ATL Screw	6.5 x 30-55mm	$250.00	$642.00

MC656	Pyramid	Pyramid Bone Screws	6.5mm Diameter, 20 -60mm 	$250.00	$430.00

length in 5mm increments

MC664	Xantus	Xantus Bone Screws	6.5mm Diameter, 20 - 60mm 	$250.00	$378.00

length in 5mm increments

Prostheses List by Category, Groups and Sponsor	Page 202 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nuvasive Australia and NZ  Pty Ltd

NV023	VuePoint Screw (occipital bone)	The VuePoint system, of which the 	4.5mm x (6/8/10/12/14mm)	$220.00

VuePoint screw (occipital bone) is a 	5.0mm x (6/8/10/12/14mm)

component, is intended to promote fusion

of the cervical spine and occipito-

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

NV036	XLP bolt	The XLP system, of which the XLP bolt 	5.5mm x 	$250.00

is a component, is indicated for use via a	(25/30/35/40/45/50/55/60/65mm

lateral or anterolateral surgical approach, 	)

above the bifurcation of the great vessels 	6.5mm x

in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability or

via the anterior surgical approach, below

the bifurcation of the great vessels, in the

treatment of lumbar and lumbosacral (L1-

S1) spine instability as a result of fracture

(including dislocation and subluxation),

tumour, degenerative disc disease

(defined as back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

studies), scoliosis, kyphosis, lordosis,

spinal stenosis, or a failed previous spine

Prostheses List by Category, Groups and Sponsor	Page 203 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NV039	Halo Bone Screw	The Halo System, of which the Halo bone	5.5mm x 	$250.00

screw  is a component, is indicated for 	(20/22/24/26/28/30/32/34mm)

use via a lateral or anterolateral surgical 	6.5mm x

approach above the bifurcation of the 	(20/22/24/26/28/30/32/34mm)

great vessels in the treatment of thoracic

and thoracolumbar (T1-L5) spine

instability or via the anterior surgical

approach, below the bifurcation of the

great vessels in the treatment of lumbar

and lumbosacral (L1-S1) spine instability

as a result of fracture (including

dislocation and subluxation), tumour,

degenerative disc disease (defined as back

pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic studies),

scoliosis, kyphosis, lordosis, spinal

NV041	Helix Mini bone screw	The Helix Mini system, of which the 	4.0mm x (11/13/15mm)	$200.00

Helix Mini bone screw is a component, is 	4.5mm x (11/13/15mm)

intended for anterior screw fixation of the

cervical spine. These implants have been

designed to provide stabilisation as an

adjunct to cervical fusion. Indications for

the use of this implant system include

degenerative disc disease defined as neck

pain of discogenic origin with the

degeneration of the disc confirmed by

history and radiographic studies,

spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or

failed previous fusion.

NV044	Helix Bone Screw	The Helix system, of which the Helix 	4.0mm x (11/13/15/17/19mm)	$170.00

bone screw is a component, is intended 	4.5mm x (13/15/17/19mm)

for anterior screw fixation  of the cervical

spine. These implants have been

designed to provide stabilisation as an

adjunct to cervical fusion. Indications for

the use of this implant system include

degenerative disc disease defined as neck

pain of discogenic origin with the

degeneration of the disc confirmed by

history and radiographic studies,

spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or

Prostheses List by Category, Groups and Sponsor	Page 204 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH053	Interpore Bone Plate System	TPS Screw	14 - 22mm	$250.00	$850.00

OH064	Anterior Cervical Plate System	Titanium Cancellous Bone Screw	4 - 20mm	$200.00	$260.00

OH241	Vuelock (Anterior Cervical Plate)	Vuelock Bone Screws	12mm - 16mm	$200.00	$350.00

OH253	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) 	Screws/ Revision Screws - dia 	$200.00	$350.00

fixation screws	4.4mm, length 11 - 18mm

OH255	Hartshill	Cancellous bone screws for 	6.5mm diam - 25 - 30mm 	$250.00	$320.00

Horseshoes/STALIF each	length, 5.5mm diam - 25 -

OH256	Cancellous Screws	For use with Stalif Implants	5.5mm x 25mm (for use with 	$250.00	$380.00

37mm Stalif), 6.5mm x 30mm

(for use with 41/45mm Stalif),

6.5mm x 25mm (for use with

41/45mm Stalif). Pack of 4

OH304	ADD / ADDplus	Cancellous bone screw, titanium. The 	length = 12,14,16,18,20,24,26mm	$200.00	$470.00

cancellous bone screw is used for the

biocortical fixation. The outer diameter is

4mm.

Scient'x Australia

SX012	Stella	Screw	D: 4-4.5mm, L: 12-20mm	$200.00

Stryker Australia Pty Ltd

HW393	Xia Spine System	Bone Screw	One size only	$250.00

SK223	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Cortical Plate screw Size 3.5mm	$150.00

(Length 6mm-24mm in 2mm

increments); Cortical Plate

screw Size 4.0mm (Length

6mm-24mm in 2mm

increments); Cortical Plate

screw Size 4.0mm (Length

SK489	THOR Anterior Lumbar Screw	Anterior Lumbar Plate Screw: Standard 	Dia 6mm  Length 22mm to 37mm	$250.00

and Compression

ST914	REFLEX  Anterior Cervical Plating 	Screw	Diameter 4 - 4.5mm lengths 	$200.00	$261.00

10mm - 20mm

Synthes Australia Pty Ltd

SY187	Cervifix Posterior Cervical  System	Screw	Dia 3.2 - 4.5mm, Length 6 - 	$150.00

SY299	Vectra Anterior Spinal System	Locking Screw	10mm to 26mm	$200.00	$300.00

SY334	Arch Fixation System	Screws, titanium	2.0mm - 2.4mm screws, 4 to 	$150.00	$181.00

Prostheses List by Category, Groups and Sponsor	Page 205 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY339	Vectra T Anterior Spinal System	Self tapping, self drilling Titanium	4.0/4.5mm. 12mm to 20mm	$250.00	$300.00

SY362	Universal Spine System (USS)	Pedicle Hook Screw	Length 20 - 40mm	$250.00

SY381	Axon Occipital Fusion System	Occipital Screws 4.5mm / 5.0mm 	Length 4 - 18mm	$220.00

diameter

Zimmer Pty Ltd

ZI487	Trinica Screw	Titanium Screws, fixed and variable angle.	4.2mm x 12/14/16/18mm; 	$250.00

4.6mm x 12/14/16/18mm

ZI517	Trinica Anterior Lumbar/Sacral Screw	Screw, Titanium, Fixed or Variable Axis	22 to 34mm lengths	$250.00

ZI646	AcuFix	Cancellous bone screw - Anterior cervical	4mm x 10 - 18mm	$150.00	$195.00

plate system - Titanium

ZI647	AcuFix	Self tapping wide root screw - Anterior 	4mm x 10 - 18mm	$150.00	$195.00

cervical plate system - Titanium

ZI648	AcuFix	Rescue screw - Anterior cervical plate 	4.5mm x 10 - 18mm	$150.00	$195.00

system - Titanium

ZI686	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm	$150.00	$880.00

ZI701	Java screw system	Secondary sacral screw	Size 6 L 35	$120.00	$1,575.00

1 - System

Johnson & Johnson Medical Pty Ltd

DP046	VSP System (Titanium)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	$600.00

DP473	Isola System (Stainless Steel)	Iliac Screw	6.25 & 7.0mm	$570.00

DP492	Isola System (Titanium)	Iliac Screws	6.25mm & 7.0mm	$570.00

DP831	Profile Anterior Thoracolumbar Plate 	Cancellous Bolt	7mm x 25 - 60mm	$600.00

System

DY121	VSP System (Stainless Steel)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	$600.00	$760.00

DY170	Monarch Spinal System	Bolts - Pedicle & Reduction	4.75 - 8.5 mm x 30 - 55mm	$600.00

Medtronic Australasia Pty Ltd

MC458	TSRH 3D 	Screw	4.5 -8.5mm diameter	$600.00	$760.00

MC459	TSRH 3D 	Extended Post Screw	30 - 60mm	$600.00	$760.00

Prostheses List by Category, Groups and Sponsor	Page 206 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nuvasive Australia and NZ  Pty Ltd

NV031	Traverse Bolt	The Traverse system, of which the 	6.5mm x 	$600.00

Traverse bolt is a component, is indicated	(25/30/35/40/45/50/55/60/65mm

for use as an adjunct to fusion via a 	)

lateral or anterolateral surgical approach, 	7.5mm x

above the bifurcation of the great vessels,

in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability,

or via the anterior surgical approach,

below the bifurcation of the great vessels,

in the treatment of lumbar and

lumbosacral (L1-S1) spine instability as a

result of fracture (including dislocation

and subluxation), tumour, degenerative

disc disease (defined as back pain of

discogenic origin with degeneration of the

disc confirmed by patient history and

radiographic studies), scoliosis, kyphosis,

lordosis, spinal stenosis, or failed

NV034	Traverse Bone Screw	The Traverse system, of which the 	5.5mm x 	$250.00

Traverse bone screw is a component, is 	(25/30/35/40/45/50/55/60/65mm

indicated for use as an adjunct to fusion 	)

via a lateral or anterolateral surgical 	6.5mm x

approach, above the bifurcation of the

great vessels, in the treatment of thoracic

and thoracolumbar (T1-L5) spine

instability, or via the anterior surgical

approach, below the bifurcation of the

great vessels, in the treatment of lumbar

and lumbosacral (L1-S1) spine instability

as a result of fracture (including

dislocation and subluxation), tumour,

degenerative disc disease (defined as back

pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic studies),

scoliosis, kyphosis, lordosis, spinal

Scient'x Australia

SX025	Lyra Screws	Screws for antero-lateral thoraco-lumbar 	Diameter:6.5mm; 5.5mm 	$250.00

plate: short hemispherical, locking 	Length: 30mm; 32.5mm; 35mm;

37.5mm; 40mm; 45mm;

50mm; 55mm; 60mm

Prostheses List by Category, Groups and Sponsor	Page 207 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SK502	Trio Spinal Fixation System	Screw	Diameter: 4.5 - 8.5mm	$600.00

Length: 25 - 60mm

Standard and Long Post

SR039	Techtonix System	Screw, titanium	5-6mm x 25mm-60mm	$600.00

Surgical House

SU091	Bone screw; Olerud Bone Screw	Hook/screw & rod spinal system 	3.5 & 4mm diam, leng 16-	$307.00	$612.00

component; Olerud Bone Screw - 	65mm; Cannulated: Diameter

Titanium, cannulated and non-cannulated	3.5, 4.0mm Length 45 - 60mm,

Non-cannulated: Diameter 3.5,

4.0 Length 16 -65mm

SU200	Olerud Pedicle Screw	Titanium	Diameter 4, 5, 6, 7mm Length 	$600.00

45 - 90mm

Synthes Australia Pty Ltd

SY149	Universal Spine System (USS)	Schanz Screws	 5-7mm dia 	$140.00

2 - Cannulated

Johnson & Johnson Medical Pty Ltd

JJ603	McGuire Bone Screw	Cancellous Bone Screw	3.5mm x 8 - 60mm	$307.00

Medtronic Australasia Pty Ltd

MC447	UCSS	Cortical Screws 	30 - 50mm	$210.00	$657.00

MC448	UCSS	Cortical Lag Screws	36 - 50mm	$210.00	$657.00

Nuvasive Australia and NZ  Pty Ltd

NV005	Triad Facet Screw	Cannulated	3.5 - 4.5mm diameter20-	$307.00

70mm length

Orthotech Pty Ltd

OH254	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2-part) 	Screws/Revision Screws - dia 	$260.00

fixation screws	4.4mm, length 11 - 18mm -

Pack of 3

OH365	AxiaLIF Facet Screw	Percutaneous 360 degree fusion at L5 - 	4/5mm x 25-40mm	$280.00	$1,110.00

Synthes Australia Pty Ltd

SY141	Spinal Plate/Plate System AO/ASIF 	Cannulated/self tapping screw (odontoid)	3.5mm dia, 36-50mm length	$260.00	$544.00

Spinal Implants

SY302	TeleFix Spinal System	Posterior Screw	20mm to 70mm in length	$250.00	$587.00

SY303	TeleFix Spinal System	Anterior Screw	20mm to 70mm in length	$250.00	$587.00

Prostheses List by Category, Groups and Sponsor	Page 208 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

4 - Closed

Medtronic Australasia Pty Ltd

MC462	Zephir	Cancellous Screw	13-17mm	$210.00

Scient'x Australia

SX009	Antelys	Screw	D: 5mm, L: 32.5 to 50mm	$210.00

Surgical House

SU092	Occiput screw	Hook/screw & rod spinal system 	4mm diam, length14-18 mm	$210.00	$275.00

Synthes Australia Pty Ltd

SY148	Universal Spine System (USS)	Pedicle Hook Screw	Length 20- 40mm	$210.00

5 - Dual Thread Screw

Austspine Pty Ltd

AJ018	Pyrenees Cervical Plate System / bone 	Self-drilling, self-tapping and bone 	Diameter: 4.0, 4.35 and 4.5mm. 	$240.00

Screw	reduction screws for fixating the 	 Length: 10,12,14 and 16mm

Synthes Australia Pty Ltd

SY140	Spinal Plate/Plate System AO/ASIF 	Anterior thoracolumbar screws -  locking	Locking screw 7.5mm, length 	$480.00

Spinal Implants	25 - 55mm

SY251	Ventrofix - MIS	Screw	25-65mm	$480.00

SY291	Anterior Tension Band	Locking Screw	22mm to 36mm	$480.00

SY297	SynFix Spinal system	Locking Screw	10mm to 40mm, 4.0mm diameter	$480.00

6 - Expansion Head

Synthes Australia Pty Ltd

SY449	Cervical Spine Locking Plate (CSLP) 	QuickLock Screw	4.0 or 4.5mm Diameter, 12-	$300.00	$470.00

System	20mm Length

6 - Expansion Screw / Expansion head screw

B Braun Australia Pty Ltd

BB158	Aesculap Cervical System	Titanium with locking mechanism	Dia 4 - 4.5mm, length 10 - 28mm	$300.00	$450.00

Lifehealthcare Pty Ltd

LH382	Signus Anterior Cervical Plate - Bone 	Provides stability in patients undergoing 	4.0 & 4.5mm diameter x 12-	$300.00

Screws	anterior cervical spine fusion procedures. 	16mm length

It consists of a pre-contoured titanium

plate, secured onto the spinal vertebrae by

either fixed or variable angle colour

coded screws. These screws have an

Prostheses List by Category, Groups and Sponsor	Page 209 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH305	ADD / ADDplus	Osmium Screw including bolt, titanium. 	length = 14, 16, 18mm with 	$300.00	$500.00

The osmium screw is a two-component 	outer diameter of 5mm

system consisting of a screw and a bolt.

Expansion of the screw is achieved by

inserting the bolt. Hyper-expansion of the

Synthes Australia Pty Ltd

SY181	Cervical Spine Locking Plate (CSLP) 	Expansion Head Screw	Dia 3.5 - 4.5mm,  Length 12 - 	$300.00

System	25mm

c - Collar / Sleeve

Nuvasive Australia and NZ  Pty Ltd

NV007	Gradient Cervical Plates	Bone Screw	4.0 - 4.7mm diameter10 - 	$200.00

20mm length

C - Complex

Arthrocare Australasia Pty Ltd

AF028	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: 	10-20mm	$260.00

PLGA/TMC Copolymer Screws

Group 10 - Fixation: C-Ring

Synthes Australia Pty Ltd

SY145	Universal Spine System (USS)	Half Ring	SS, Standard, Self-Holding	$365.00

SY360	Universal Spine System (USS)	Half Ring	SS, Standard, Self-Holding	$365.00

Group 10 - C-Ring

Medtronic Australasia Pty Ltd

MC436	CD-Horizon	C-ring	One size only	$365.00

Orthotech Pty Ltd

OH044	Synergy Spinal System	C-Ring	4.75 - 6.35mm	$365.00

Prostheses List by Category, Groups and Sponsor	Page 210 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 11 - Fixation: Other

Zimmer Pty Ltd

ZI330	Trabecular Metal Spinal Devices	Composition - Trabecular Metal	Various heights, sizes and 	$5,580.00

ZI536	Trabecular Metal Spinal Devices	Composition Trabecular Metal	Various heights, diameters and 	$5,580.00

ZI537	Trabecular Metal Spinal Device	Composition Trabecular Metal	Various heights, sizes and 	$5,580.00

Group 11 - Other

Medtronic Australasia Pty Ltd

MC637	CD Horizon	Spire Plate	One size	$1,425.00

Group 12 - Spacer: Interbody/Fusion Cage

Group 12a - Interbody / Fusion Cage, Integral Fixation

Orthotech Pty Ltd

OH257	Stalif	Interbody Spinal Fusion Implant: 	37mm x 11, 13, 15mm; 41mm x	$5,200.00

Retroperitoneal/Transperitoneal	 11, 13, 15mm; 45mm x 11, 13,

15mm; 37mm x 17mm, 41mm

x 17mm, 45mm x 17mm

Scient'x Australia

SX010	PCB Plate-Cage	Titanium cervical plate-cage	L: 14-16mm, W: 12-15mm, 	$2,700.00

Cage Height: 4.5-8mm, Plate

Height: 23-29mm

Synthes Australia Pty Ltd

SY298	SynFix Spinal System	Interbody fusion cage prefilled or unfilled	5mm to 19mm	$6,500.00	$7,250.00

Group 12b - Interbody / Fusion Cage, No Integral Fixation

Austspine Pty Ltd

AJ029	Aleutian ALIF	An anterior lumbar interbody spacer 	Footprints:  24mm x 30mm, 	$3,600.00

designed to stabilise and maintain the 	28mm x 36mm Heights: 9mm to

intervertebral space

Prostheses List by Category, Groups and Sponsor	Page 211 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AJ030	Aleutian TLIF	A tranforaminal posterior lumbar 	27mm Long, 10mm wide in a 	$3,600.00

interbody spacer designed to stabilise and 	range of heights from 7mm to

maintain the intervertabral space

B Braun Australia Pty Ltd

BB070	Prospace Block	Titanium	9mm-11mm	$3,600.00

BB211	KLA Anterior Lumbar Cage System	Anterior Lumbar Cage - PEEK	9mm x 5 degrees, 11mm x 5 	$3,600.00	$4,250.00

degrees, 13mm x 5 degrees,

11mm x 9 degrees, 13mm x 9

degrees, 15mm x 9 degrees,

13mm X 13 degrees, 15mm X

BB217	Samarys Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	L15 x w17 x h5mm, L15 x w17	$2,503.00	$2,800.00

x h6mm, L15 x w17 x h7mm,

L15 x w17 x h8mm, L13 x w17

x h5mm, L13 x w17 x h6mm,

L15 x w20 x h5mm, L15 x w20

BB252	T. Lif Intervertebral Cage System	T.Lif PEEK Intervertebral Cage	All sizes	$3,600.00	$5,000.00

BB278	Aesculap Interbody Cage	Interbody cage	All sizes	$3,600.00

Global Orthopaedic Technology

GO076	Traxis (non sterile)	Titanium Interbody Implant	9-13mm	$3,600.00

GO077	Traxis Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$3,600.00

GO100	InFix Interbody Fusion System	Strut	Small - Large	$1,082.00

GO109	Cadence (non sterile)	Titanium Interbody Implant	9-15mm	$3,600.00

GO110	Cadence Peek - Optima (sterile)	Vue Radiolucent Implant	9-13mm	$3,600.00

GO111	Fortitude (non sterile)	Titanium Interbody Implant	12mm	$2,503.00	$6,120.00

GO112	Fortitude Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$2,503.00	$5,670.00

GO122	InFix Interbody Fusion System	Strut	Small - Large	$3,600.00

Health Care Surgical Pty Ltd

HC006	Squale	Cervical Cage	4-10mm	$2,503.00	$2,900.00

Johnson & Johnson Medical Pty Ltd

DP510	Brantigan I/F Cage	PLIF C/F Cage 	Straight / Wedge	$3,000.00

DP511	Brantigan I/F Cage	ALIF C/F Cage	Small - Large	$3,600.00

DP514	Brantigan I/F Cage	Cervical Brantigan Cage	Standard/Large 4-10mm	$2,503.00	$2,668.00

DP515	I/F Ramp	PLIF C/F Ramp	7-11 x 11-15 x 21 - 25 mm	$3,000.00

Prostheses List by Category, Groups and Sponsor	Page 212 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP851	Surgical Titanium Mesh System	Standard & Trapezoidal	10-16mm x 8-17mm Hgt	$3,000.00

DY406	Leopard 5 Lodotic Carbon Fibre Body 	Carbon Fibre cage	7 - 18mm	$3,600.00	$3,915.00

Fusion Device

DY407	Leopard Parallel Carbon Fibre Body 	Carbon Fibre Cage	7 - 18mm	$3,600.00	$3,690.00

Fusion Device

DY422	Saber Cage	PLIF Cage	Parallel/Wedge	$3,000.00

JJ520	CONCORDE Spine System	Parallel Carbon Fibre Interbody Fusion 	7 - 13mm	$3,600.00

Device

JJ521	CONCORDE Spine System	Lordotic Carbon Fibre Interbody Fusion 	7 - 13mm	$3,600.00

Device

JJ569	Cougar II ALIF Cage	Anterior Lumbar Interbody FusionCage, 	Small, Medium, Large, 10 - 	$3,600.00	$3,690.00

Carbon Fibre Reinforced Polymer 	20mm, 5 or 10 Deg

Lifehealthcare Pty Ltd

LH181	Rabea Peek Vertebral Body Fusion 	Composition - peek, spinal implant	4, 5, 6, 7 x 12 x 14mm, 8 x 12 	$2,503.00

x 16mm

LH252	Signus - Semial	Composition - PEEK	Height (ant) 7.80, 10.40, 13.20; 	$3,600.00

Diameter 38, 43, 48; Height

(post) 5.4, 8.0, 8.1, 10.8; Angle

5.00, 10.40

LH303	Nubic	Cervical Fusion Implant in interbody 	4x13x14mm, 5x13x14mm, 	$2,503.00

fusion of the Cervical Spine	6x13x14mm, 7x13x14mm,

8x13x14mm

LH316	Magerl/Kimba Cage	Endless Carbon Fibre (ECF) in PEEK-	7, 8, 9, 11, 13, 15mm	$3,600.00

LH370	Signus Mobis Lumbar TLIF Cage	Peek-Optima Lumbar intervertebral TLIF 	6, 7, 8, 9, 10, 11, 12, 13, 14, 	$3,600.00

16, 18mm heights

LH393	Blackstone Construx Mini PEEK VBR 	The Construx Mini is an anterior Cervical 	12mm x 12mm 5 degrees 	$2,503.00

System	Interbody PEEK Cage	lordotic. 5mm-12mm in 1mm

increments. 12mm x 12mm,

Parallel. 5mm - 12mm in 1mm

increments. 15mm x 12mm, 5

degrees lordotic. 5mm - 12mm

in 1mm increments. 15mm x

12mm, Parallel. 5mm-12mm in

Prostheses List by Category, Groups and Sponsor	Page 213 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LH394	Blackstone Medical Pillar AL	Anterior Lumbar Interbody Fusion PEEK 	26mm x 20mm, 7 degrees 	$3,600.00

(lordotic). 8-20mm height in

2mm increments. 30mm x

24mm, 0 degrees (parallel).

8mm 18mm height in 2mm

increments. 30mm x 24mm, 7

degrees (lorotic). 10-22mm

height in 2mm increments.

30mm x 24mm, 12 degrees

(lordotic). 12-24mm height in

2mm increments. 34mm x

28mm, 12 degrees (lordotic).

12-24mm height in 2mm

LH396	Blackstone Medical Pillar TL	Transforaminal Lumbar Interbody Fusion	9mm x 27mm, 0 degrees 	$3,600.00

PEEK cage	(parallel). 8mm -16mm height in

1mm increments. 9mm x

27mm, 8 degrees (lordotic).

8mm -16mm height in 1mm

LH446	Pillar SA	The Pillar SA PEEK Spacer system is 	37Wx28Dx7º 12.5, 14, 16, 	$3,600.00

comprised of a variety of implants 	18mmH

manufactured from PEEK-OPTIMA LT 	37Wx28Dx12º 12.5, 14, 16,

as described by ASTM F-2026, with 	18mmH

tantalum markers as described by ASTM 	40Wx28Dx7º 12.5, 14, 16,

F-560. The implants are available in 	18mmH

multiple footprint sizes a variety of 	40Wx28Dx12º 12.5, 14, 16,

heights and two angles of lordosis: 7º and	18mmH

12º. The implant incorporates integrated 	43Wx28Dx7º 12.5, 14, 16,

anterior screw holes to allow for medial 	18mmH

placement of screws as well as a titanium	43Wx28Dx12º 12.5, 14, 16,

plate for securing the screws in one 	18mmH

place. The superior and inferior of the 	37Wx32Dx7º 12.5, 14, 16,

implant have a pattern of ripples that 	18mmH

provide increased stability and help 	37Wx32Dx12º 12.5, 14, 16,

movement of the device.	18mmH

40Wx32Dx7º 12.5, 14, 16,

18mmH

40Wx32Dx12º 12.5, 14, 16,

LSS Surgical Pty Limited

LS009	Anatomix Cervical Cage System	Vue Radiolucent Implant	Size 5 to 10	$2,503.00	$6,300.00

LS013	DIVA Cervical PEEK Cage System	Cervical Cage PEEK	Standard Cervical PEEK Cage 	$2,503.00	$3,340.00

Sizes 4 to 8. Small Cervical

PEEK Cage Sizes 4 to 7

Prostheses List by Category, Groups and Sponsor	Page 214 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC297	Verte-Stack	Boomerang	Width 25 - 36 mm, Height 6 - 	$3,600.00	$5,907.00

18 mm

MC413	Cornerstone Cage	Sterile and Non-sterile	4 - 14mm	$2,503.00

MC589	Affinity Anterior cervical cage System	The Affinity Cage is constructed of 	6mm to 14mm	$2,503.00

titanium alloy - kit includes trials, reamers

and inserters.

MC602	Union	Verte-Stack	8 - 20mm	$3,600.00

MC673	Verte-Stack	Perimeter Cage	Extra Small, Small, Medium, 	$3,600.00	$5,907.00

Large, Extra Large

MC685	Verte-Stack Crescent	PEEK	Height 6 - 18mm	$3,600.00	$5,907.00

Nuvasive Australia and NZ  Pty Ltd

NV010	CoRoent	Cervical Cage	small	$2,503.00

NV011	CoRoent	PLIF cage	LN, LT	$3,000.00

NV012	CoRoent	TLIF cage	LW, LC	$3,600.00

NV013	CoRoent	XLIF cage	XL	$3,600.00

NV014	CoRoent	ALIF cage	XLR	$3,600.00

Orthotech Pty Ltd

OH123	GEO Structure Vertebral Cage - PLIF	3 dimensional titanium intervertebral cage	One size only	$3,000.00	$4,100.00

OH128	Anterior Lumbar Cage	Titanium or PEEK	Height 2 - 20mm	$3,600.00	$4,100.00

OH131	Anterior Cervical Cage	Peek	12 x 15, 12 x 17, 14 x 17, 14 x 	$2,503.00

OH316	Impix-C+ - Cervical Cage	Impix-C+ Pre-filled Cervical Cage	12.5mm x 14mm x 5mm, 	$2,503.00	$2,950.00

12.5mm x 14mm x 6mm,

12.5mm x 14mm x 7mm,

14.5mm x 16mm x5mm,

14.5mm x 16mm x 6mm,

14.5mm x 16mm x 7mm,

Scient'x Australia

SX007	Antelys	Cage	H: 9-15mm	$3,600.00

SX014	CBK Cage	PEEK	L: 15mm, W: 13mm, H: 4.5-	$2,503.00

SX033	Olys	PEEK TLIF Cage	Length 28mm, 35mm: Height 	$3,600.00

7mm, 9mm, 11mm, 13mm

Prostheses List by Category, Groups and Sponsor	Page 215 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SR050	AVS TL Peek Spacer System	Transforaminal Lumbar Interbody Fusion	7-18mm x 25--30mm. 0-4 degree	$3,600.00

cage, PEEK

SR066	AVS AL PEEK Spacer System	Anterior Lumbar Interbody Fusion Cage	22mm deep x 28mm wide x 	$3,600.00

10mm - 50mm height and

28mm deep x 33mm wide x

10mm-50mm height.  Both base

sizes come in 4 degree and 8

SR082	UniLIF	PEEK Unilateral Lumbar Interbody Fusion	Width 11mm, Height 6mm to 	$3,600.00

Cage	13mm, Length 30mm - 33mm

ST712	Solis Cervical Cage	PEEK Cervical Interbody Cage	12/4-12/9 and 14/4-14/9	$2,503.00

Synthes Australia Pty Ltd

SY137	Syncage	Interbody fusion cage	12 -19mm Height	$3,600.00	$3,690.00

SY273	Cervios IBF Cage	Interbody Fusion Cage	Height 5-10mm (1mm 	$2,503.00	$2,781.00

SY300	Travios	Interbody fusion cage, prefilled or unfilled	5mm to 19mm	$3,600.00	$4,258.00

SY439	OPAL	Cage Spacer	7-177mm, 10 x 28-32mm	$3,600.00	$4,258.00

SY453	Oracle	Lumbar Interbody Fusion Cage	40-55mm M/L x 22mm A/P, 9-	$3,600.00	$3,690.00

17mm Height

Trans-Pacific Healthcare Pty Ltd

TP001	TPH - Fehling Formar Cages	Trapezoid frames to replace removed 	$2,503.00

discs in the region of the cervical

vertebrae. Made of PEEK Optima

Zimmer Pty Ltd

ZI482	Spine-Tech BAK Cervical Implant	Cervical Cage	6 x 12mm, 8 x 12mm, 10 x 	$2,503.00

12mm, 12 x 12mm

ZI657	Traxis (non sterile)	Titanium Interbody Implant	9-13mm	$3,600.00

ZI658	Traxis Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$3,600.00

ZI679	InFix Interbody Fusion System	Strut	Small - Large	$1,082.00

ZI688	Cadence (non sterile)	Titanium Interbody Implant	9-15mm	$3,600.00

ZI689	Cadence Peek - Optima (sterile)	Vue Radiolucent Implant	9-13mm	$3,600.00

ZI690	Fortitude (non sterile)	Titanium Interbody Implant	12mm	$2,503.00	$6,120.00

ZI691	Fortitude Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$2,503.00	$5,670.00

ZI693	InFix Interbody Fusion System	Strut	Small - Large	$3,600.00

Prostheses List by Category, Groups and Sponsor	Page 216 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI695	Anterior Lumbar Cage	Titanium or PEEK	Height 2 - 20mm	$3,600.00	$4,100.00

ZI696	Fidji Cervical Cage	12 x 15, 12 x 17, 14 x 17, 14 x 	$2,503.00

1 - Paired

Austspine Pty Ltd

AJ009	Kasios KAGE	Cervical interbody PEEK cage for anterior	Height 4mm - 10mm	$2,503.00

cervical surgery

AJ020	Vigor PEEK Lumbar Interbody Fusion 	Rotatable posterior lumbar interbody 	Heights: 10mm, 11mm, 12mm, 	$3,000.00

fusion cage	14mm, 16mm and Lengths:

24mm and 26mm

AJ028	Aleutian AN PLIF	An insert-and-rotate posterior lumbar 	22mm and 28mm long, 8.5mm 	$3,000.00

interbody spacer designed to stabilise and 	wide in a range of heights from

maintain the intervertebral space	6mm to 17mm

B Braun Australia Pty Ltd

BB215	Adonys Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK - 	8mm x 4 degrees, 12mm x 4 	$3,000.00	The benefit amount/minimum

degrees, 8mm x 10 degrees, 	benefit amount is for an

12mm x 10 degrees	individual product which comes

as a pack of two

BB216	Adonys Posterior Lumbar Cage System	Posterior Lumbar Cage - Short	8mm x 4 degrees, 10mm x 4 	$3,000.00	The benefit amount/minimum

degrees, 12mm x 4 degrees, 	benefit amount is for an

8mm x 10 degrees, 10mm x 10 	individual product which comes

degrees, 12mm x 10 degrees	as a pack of two

Global Manufacturing Technology Pty Ltd

GM027	NeoIC (Neo Interbody Fusion Cage)	Interbody Fusion Cage	Various	$3,000.00	$3,145.00

Johnson & Johnson Medical Pty Ltd

JJ699	Iriom ramp	Carbon fibre fusion ramp	5 degrees and 7.5 degree 	$3,000.00

lordosis, 9-17 mm anterior

Lifehealthcare Pty Ltd

LH182	Tetris Lumbar Fusion Implant System	Titanium or peek, spinal implant	8-12mm x 11mm	$3,000.00

LH395	Blackstone Medical Pillar PL	Posterior Lumbar Interbody Fusion PEEK	9mm x 23mm, 0 degrees 	$3,000.00

Cage	(parallel). 8mm - 16mm height

in 1mm increments. 9mm x

23mm, 8 degrees (lordotic).

8mm-16mm height in 1mm

LSS Surgical Pty Limited

LS001	SAS Spinal Advanced System	Peek-Optima Lumbar Cage	9mm t 15mm	$3,000.00	$3,340.00

Prostheses List by Category, Groups and Sponsor	Page 217 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LS023	DIVA PEEK Lumbar Cage	PEEK Lumbar Cage Posterior & Anterior	Posterior Cages 0, 4 & 8 	$3,000.00	$3,340.00

degrees Length 20mm & 25mm

T8 to T14. Anterior Cages 4 &

8 degrees T9 to T16

Medtronic Australasia Pty Ltd

MC456	Interfix 	Titanium Cage	12 x 20mm - 24 x 50mm	$3,000.00

MC457	LordoTec Cage (LT-Cage)	Titanium,  PEEK	18-28mm	$3,000.00

MC577	R90 Spacer	Spinal Implant (Peek)	Height 7 - 16mm	$3,000.00	$3,800.00

Lordosis 6 - 18 degrees

MC633	Capstone Cage	Vertebral Body Spacer	Length: 22-60mm	$3,000.00	$3,800.00

Orthotech Pty Ltd

OH129	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm	$3,000.00	$3,900.00

OH317	IMPIX-LR	IMPIX - lr Lumbar Ramp	8x20x0DEG, 13X20X0DEG, 	$3,000.00	$4,100.00

14X20X0DEG, 9X20X4DEG,

10X20X4DEG, 11X20X4DEG,

12X20X4DEG, 13X20X4DEG,

14X20X4DEG, 10X20X8DEG,

11X20X8DEG, 12X20X8DEG,

13X20X8DEG, 14X20X8DEG,

12X20X12DEG,

13X20X12DEG,

14X20X12DEG, 8X25X0DEG,

9X25X0DEG, 10X25X0DEG,

11X25X0DEG, 12X2

OH347	Ibex Interbody Cage	Lumbar Cage	7-17mm	$2,503.00	$3,500.00

Scient'x Australia

SX013	CC-CO Cages	PEEK Polymer	L: 23.5mm, W: 10-13.5mm, H: 	$3,000.00

8-14mm

Stryker Australia Pty Ltd

ST711	PEEK Interbody Cages	Peek lumbar cages poly ether ether 	Size 7-18mm	$3,000.00

ketone 0, 4 & 8 degree

Synthes Australia Pty Ltd

SY088	Plif Cage: Cage	Contact fusion cage - bone compression 	Width 8 - 11mm / height 9 - 	$3,000.00

screw for PLIF cage

SY274	Plivios IBF Cage	Interbody Fusion Cage	Height  7-17mm	$3,000.00

SY340	PlivioPore	Ti PLIF cage	Height 7 - 17mm / width 7 - 	$3,000.00	$3,670.00

Prostheses List by Category, Groups and Sponsor	Page 218 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI483	Spine-Tech BAK "L" Cage	Lumbar Cage	9 x 20mm, 9 x 24mm, 11 x 	$3,000.00

20mm, 13 x 20mm, 13 x 24mm,

15 x 20mm, 15 x 24mm, 17 x

24mm, 17 x 28mm

ZI615	ARDIS LUMBAR INTERBODY 	A lumbar interbody fusion cage	H 8 to 16mm; W 9 & 11mm; L 	$3,000.00	$3,600.00

SPINAL CAGE	22 to 34mm

ZI694	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm	$3,000.00	$3,900.00

Group 12c - Fusion Cage / Facet joint

Johnson & Johnson Medical Pty Ltd

JJ808	ZygoLoc	Facet Fusion Cage	3-15mm	$1,500.00

Group 14 - Replacement: Disc

Group 14a - Disc, Single Implant

Medtronic Australasia Pty Ltd

MC585	Maverick Artificial Disc	Cobalt Chrome	8mm - 14mm	$9,550.00	$13,028.00

Stryker Australia Pty Ltd

SK459	Flexicore	Lumbar Intervertebal disc	35 - 40mm x 11 - 18mm	$9,550.00	$12,600.00

Group 14b - Disc, Multi-Component Implant

1 - End Plate

Johnson & Johnson Medical Pty Ltd

DY356	In Motion Lumbar Artificial Disc	End Plates Parallel & Oblique	Small, medium, large	$4,200.00

Synthes Australia Pty Ltd

SY327	Spine Solutions Prodisc	Artificial mechanical disc, superior plate 	3 Degree, 6 Degree, 11 Degree, 	$4,200.00

component	Medium, Large

SY329	Spine Solutions Prodisc	Artificial mechanical disc, inferior plate 	0 Degree, 3 Degree, 8 	$4,200.00

component	Degree,Medium, Large

2 - Core

Johnson & Johnson Medical Pty Ltd

DY359	In Motion Lumbar Artificial Disc	Sliding Core	7.5mm,  8.5mm, 9.5mm, 10.5mm	$1,150.00

Prostheses List by Category, Groups and Sponsor	Page 219 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY328	Spine Solutions Prodisc	Artificial mechanical disc, polyethylene 	10,12,14mm, Medium, Large	$1,150.00

Group 15 - Replacement: Nucleus

Medtronic Australasia Pty Ltd

MC617	Nucleus Replacement	Spinal Disc	Thickness 5-25mm, Diameter 	$5,900.00

10-50mm

Group 16 - Replacement: Vertebral Body

Group 16a - Vertebral Body, Telescoping Cage - Integral Fixation

Orthotech Pty Ltd

OH052	Interpore Bone Plate System	TPS Bone Plate	20 - 56cm	$2,300.00	$3,500.00

OH303	ADD / ADDplus	Addplus is a winged anterior distraction 	ADDplus, diameter 12mm, 	$2,300.00	$4,600.00

device and is also used for vertebral 	height 13-18mm. 6°

column replacement which can be used 	ADDplus, diameter 12mm,

for the anterior cervical column and for 	height 17-26mm. 6°

the cervico-thoracic transition. The 	ADDplus, diameter 12mm,

Adplus effects the reconstruction, 	height 25-41mm. 6°

support and stabilization of the anterior 	ADDplus, diameter 12mm,

column.The fixation on the vertebral 	height 40-65mm. 6°

bodies is effected by means of screws

from the osmium system, with a

monocortical as well as a biocortial screw

anchoring being possible. The additional

wings prevent a migration as well as

possible sinking in of the implant. The

ADDplus is made from titanium alloy.

Group 16b - Vertebral Body, Telescoping Cage - No Integral Fixation

B Braun Australia Pty Ltd

BB288	Aesculap Vertebral Body System	Vertebral Body System, Titanium Alloy	All sizes	$4,300.00	$6,000.00

Johnson & Johnson Medical Pty Ltd

DY062	Brazenor Device	Custom Cervical Buttress	One size only	$2,155.00

DY420	X-Tenz	Telescopic VBR Cage	16mm	$4,300.00	$4,911.00

Prostheses List by Category, Groups and Sponsor	Page 220 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY421	X-Tenz	Telescopic VBR Cage	22mm	$4,300.00	$4,911.00

DY429	X-Tenz	Telescopic VBR Cage	26mm	$4,300.00	$4,911.00

DY430	X-Tenz	Telescopic VBR Cage	28mm	$4,300.00	$4,911.00

JJ516	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	$4,300.00

JJ517	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	$4,300.00

JJ782	X-MESH - Expandable Cage System	Telescoping, vertebral body replacement 	Footprint/diameter 10-40mm, 	$4,300.00	$5,864.00

device	variable height range

Medtronic Australasia Pty Ltd

MC507	LIFT/VERTE-SPAN	Vertebral Body Cages	Short - Extra Long	$4,300.00

MC820	T2 XVBR	T2 XVBR is an expandable vertebral body	Diameters: 13 - 31mm	$4,300.00

replacement cage

Orthotech Pty Ltd

OH301	Obelisc vertebral body replacement	Centre Piece	diameter - 20mm, height 20-	$4,300.00	$5,000.00

Made from titanium.	28mm

diameter - 20mm, height 25-

37mm

diameter - 20mm, height 32-

47mm

Scient'x Australia

SX035	TeCorp Vertebral Body Replacement 	TeCorp Cervical	All sizes	$3,100.00	$5,000.00

SX036	TeCorp Vertebral Body Replacement 	TeCorp Thoracic	All sizes	$4,300.00	$5,395.00

SX037	TeCorp Vertebral Body Replacement 	TeCorp Lumbar	All sizes	$4,300.00	$5,395.00

Stryker Australia Pty Ltd

SK448	VLIFT	Vertebral Body Replacement System, DIS	18-22mm x 20-37mm	$4,300.00	$6,574.00

Implant

Synthes Australia Pty Ltd

SY341	Expandable Cage Titanium	Synex II, Titanium	Height 14mm-123mm	$4,300.00	$4,315.00

SY343	Expandable Cage Titanium	Synex, Titanium, with endplates	Height 14mm - 93mm, Angle 0 -	$4,300.00	$5,395.00

40 degree

SY356	ECD - Expandable Corpectomy Device	Vertebral body replacement system, 	Angle 4.5Deg/7Deg, Height 	$3,100.00	$5,440.00

PEEK/Titanium	17mm - 70mm

Prostheses List by Category, Groups and Sponsor	Page 221 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 16c - Vertebral Body, Telescoping Cage - End Plate

Global Orthopaedic Technology

GO099	InFix Interbody Fusion System	Endplate	Small - Large	$1,200.00

GO101	InFix Interbody Fusion System	Endcap	8-10mm	$1,200.00

Medtronic Australasia Pty Ltd

MC540	LIFT/ VERTE-SPAN	End plates (caps)	Angulation: -8 - 7 degrees; left 	$1,200.00	$1,325.00

and right

Orthotech Pty Ltd

OH302	Obelisc vertebral body replacement	End Piece	diameter - 20mm, angle 0°	$1,200.00

Made from titanium.	diameter - 20mm, angle 5°

diameter - 20mm, angle 10°

diameter - 24mm, angle 0°

diameter - 24mm, angle 5°

diameter - 24mm, angle 10°

diameter - 26mm, angle 0°

diameter - 26mm, angle 5°

diameter - 26mm, angle 10°

Stryker Australia Pty Ltd

SK339	VLIFT	End cap	Sizes 18 to 22mm	$1,200.00

Synthes Australia Pty Ltd

SY342	Expandable Cage Titanium	Synex II, Titanium endplate	Angle 0 - 40 degree. Endplate 	$1,200.00

Size 19x20, 22x25, 26x30

Zimmer Pty Ltd

ZI678	InFix Interbody Fusion System	Endplate	Small - Large	$1,200.00

ZI680	InFix Interbody Fusion System	Endcap	8-10mm	$1,200.00

Group 16d - Vertebral Body, Stackable Cage

Johnson & Johnson Medical Pty Ltd

DP513	Stackable Corpectomy CFRP Cage 	Stackable Cage Thoracic/Lumbar	Small-Large	$4,400.00

DY322	Carbon Fibre Interbody Fusion Device	Stackable C/F Cage System Wedges	11 Degree Small-Large	$4,400.00

Lifehealthcare Pty Ltd

LH389	Signus Athlet VBR System - Main Body	Peek Vertebral Body Replacement System	12, 18, 24, 30, 36 and 42mm 	$4,400.00

(Main body)	lengths

Prostheses List by Category, Groups and Sponsor	Page 222 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LH397	Signus Athlet VBR System - End Body	Peek Vertebral Body Replacement System	4, 6, 8mm heights	$4,400.00

(End body)

Medtronic Australasia Pty Ltd

MC603	Union	Verte-Stack	8 - 20mm	$4,400.00

MC606	Union	Verte-Stack	Centre Piece 5-40mm	$4,400.00

MC632	Verte-Stack	XS Centre Piece. Stackable Corpectomy 	Height 5-50mm	$4,400.00	$5,005.00

Device.

Group 16e - Vertebral Body, Mesh

Lifehealthcare Pty Ltd

LH284	Blackstone - Surgical Mesh	4 lobe, 6 lobe	4 lobe: 12 x 15mm, 8mm - 17 x 	$3,605.00

22, 15mm, 6 lobe: (diameter x

height) 10 - 16 x 10 - 16mm

(2mm increments), 7 - 70mm

Medtronic Australasia Pty Ltd

MC378	Pyramesh	Titanium Surgical Mesh	51 - 500mm	$3,605.00	$4,700.00

MC379	Pyramesh	Titanium Surgical Mesh	5 - 50mm	$3,605.00

MC449	Pyramesh	Angled	25 - 150mm	$3,605.00

MC450	Pyramesh	Curved / Round	20 - 150mm	$3,605.00

MC451	Pyramesh	Ovoid	8 - 130mm	$3,605.00

Nuvasive Australia and NZ  Pty Ltd

NV015	Titanium Mesh	Oval/Flat/Long/Round	10mm - 16mm Diameter, 6mm -	$3,605.00

14mm Length

NV016	Titanium Mesh	Oval/Flat/Long/Round	10mm - 16mm Diameter, 15mm	$3,605.00

- 90mm Length

NV017	Titanium Mesh	Oval/Flat/Long/Round	20mm + Diameter, 30mm - 	$3,605.00

90mm Length

Stryker Australia Pty Ltd

SK338	VBOSS/VLIFT	Titanium	Available from 10 to 25mm in 	$3,605.00

Diameter and from 8 to 120mm

in Length

Synthes Australia Pty Ltd

SY293	Synmesh	Mesh, Oblong	6mm - 88mm	$3,605.00

Prostheses List by Category, Groups and Sponsor	Page 223 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY294	Synmesh	Mesh, Round	6mm - 88mm	$3,605.00

Group 16f - Vertebral Body, Mesh - End Plate

Lifehealthcare Pty Ltd

LH282	Blackstone - End Ring	Surgical Mesh	[Surgical mesh X Angle] 10-	$195.00

16mm (2mm increments) X 0-

Medtronic Australasia Pty Ltd

MC539	Pyramesh	End ring/cap	10 - 25mm	$1,325.00

MC686	Pyramesh Cleat	Titanium Mesh	10mm - 25mm	$1,325.00

MC821	T2	End Cap	13-31 mm, 0, 4, 8, 15 degree 	$1,325.00

lordosis

Stryker Australia Pty Ltd

SK424	VBOSS	End cap	Sizes 10 to 25mm	$1,325.00

Synthes Australia Pty Ltd

SY295	Synmesh	End rings	round/oblong	$1,325.00

Group 17 - Bone Graft: Bone Substitute

Group 17a - Bone Substitute, Resorbable

Austspine Pty Ltd

AJ010	KGBone	Synthetic bone substitute, custom-fit for 	4mm-10mm	$1,500.00

KAGE cervical interbody cage

Scient'x Australia

SX017	Bonex	Block	L:5.5 - 50mm	$1,500.00

Group 17c - Bone Substitute, Non-Resorbable - Non-Structural

Cardinal Health

CI001	Ava-Tex Radiopaque Bone Cement Kit	13.8g Barium-Polymer Powder & 6mL 	12mL	$230.00

Liquid Monomer, Ported Mixing Vial,

Funnel, 20mL 2-Piece Syringe, Ampoule

Disposal Container, Monomer

Dispersement Cannula, Spatula, Four

Self-Adhesive Charge Labels, Part No.

Prostheses List by Category, Groups and Sponsor	Page 224 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Heraeus Kulzer Australia Pty Ltd

HK002	Osteopal V	Single mix PMMA	26 grams powder; 10ml liquid	$230.00

1 - with Simple Kit

Johnson & Johnson Medical Pty Ltd

JJ609	Vertebroplasty System	Vertobroplasty System	One size only	$540.00	$1,800.00

Orthotech Pty Ltd

OH166	Mendec Spine	Bone Cement	Cement	$540.00	$1,710.00

Synthes Australia Pty Ltd

SY429	Vertecem Vertebral Augmentation	Vertecem Cement, and Viscosafe Mixing 	21gm	$540.00	$1,800.00

System

2 - with Complex kit

Arthrocare Australasia Pty Ltd

AF007	Parallax Vertebroplasty Bone Cement	Sterile Sealed Percutaneous 	Standard	$1,200.00

Vertebroplasty Bone Cement

Johnson & Johnson Medical Pty Ltd

JJ736	Confidence Spinal cement system	Spinal Bone Cement PMMA and 	11 cc	$1,200.00	$2,500.00

Percutaneous Administration Kit

Lifehealthcare Pty Ltd

LH293	Wafer Cartridge Assemby,	Composition: Peek	8 x 20/25/30mm	$1,200.00	$2,720.00

Orthotech Pty Ltd

OH171	Mendec Spine	Bone Cement	Cement Kit	$1,200.00	$1,800.00

Stryker Australia Pty Ltd

SK426	Cortoss Vertebral Augmentation Kit	Cortoss Cement 10cc, Delivery Gun,  	10cc	$1,200.00	$2,226.00

Mix Tips, Percutaneous Administration Kit

Group 17d - Bone Substitute, Resorbable - Non-Structural

Medtronic Australasia Pty Ltd

MC594	Mastergraft	Calcium Phosphate Ceramic Granules	5cc Vial	$900.00	$931.00

MC595	Mastergraft	Calcium Phosphate Ceramic Granules	10cc Vial	$1,200.00	$1,415.00

MC596	Mastergraft	Calcium Phosphate Ceramic Granules	15cc Vial	$1,500.00	$1,862.00

MC597	Mastergraft	Calcium Phosphate Ceramic Granules	30cc Vial	$2,400.00	$3,000.00

MC660	Mastergraft	Matrix	5cc	$900.00	$1,200.00

Prostheses List by Category, Groups and Sponsor	Page 225 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC662	Mastergraft	Matrix	20cc	$1,800.00	$2,100.00

MC663	Mastergraft	Matrix	10cc	$1,200.00	$1,600.00

MC671	BCP	Biphasic Calcium Phosphate Reabsorbable	20cc	$1,800.00	$2,332.00

Graft Supplement

Scient'x Australia

SX018	Bonex	Granules	10cc	$1,200.00

SX019	Bonex	Granules	2cc	$750.00

Group 2 - Fixation: Coupling

a - Nut

Global Manufacturing Technology Pty Ltd

GM069	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep	$177.00	$190.00

Johnson & Johnson Medical Pty Ltd

DP304	Moss Miami (Stainless Steel)	Inner Screw and Outer Nut	3 - 5mm	$177.00

DP460	Isola System (Titanium)	Right Hand Nut	5/16"	$177.00

DP475	Isola System (Stainless Steel)	Right Hand Nut	5/16"	$177.00

DP834	Profile Anterior Thoracolumbar Plate 	Locking Outer Nut	One size only	$177.00

System

DY107	Carbon Fibre Cages	Stackable Cage Titanium Interface Screw	One size only	$177.00

DY340	Summit Cervical Rod System	Mini Polyaxial Outer Nut	One size only	$177.00

DY341	Summit Cervical Rod System	Pin Nut with Flange or No Flange	One size only	$177.00

JJ601	Mountaineer Oct Spinal System	Transverse Connector Outer Nut	One size only	$177.00

JJ763	Moss Miami (Titanium)	Outer nut	One Size	$177.00	$225.00

Medtronic Australasia Pty Ltd

MC399	TSRH Spinal Implant System	3D - Nut, Eyebolt locknot, locknut 1/2 	Each in one size	$177.00

inch, locking screws, double hex, flush

break, universal breakoff

MC435	Colorado Spinal System	Break off Nut	One size only	$177.00

MC615	Vantage	Vantage Plates and Screws; Lock Nut	One Size Only	$177.00

Prostheses List by Category, Groups and Sponsor	Page 226 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nuvasive Australia and NZ  Pty Ltd

NV032	Traverse Lock Nut	The Traverse system, of which the 	One Size	$170.00

Traverse lock nut  is a component, is

indicated for use as an adjunct to fusion

via a lateral or anterolateral surgical

approach, above the bifurcation of the

great vessels, in the treatment of thoracic

and thoracolumbar (T1-L5) spine

instability, or via the anterior surgical

approach, below the bifurcation of the

great vessels, in the treatment of lumbar

and lumbosacral (L1-S1) spine instability

as a result of fracture (including

dislocation and subluxation), tumour,

degenerative disc disease (defined as back

pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic studies),

scoliosis, kyphosis, lordosis, spinal

NV037	XLP Lock Nut	The XLP system, of which the XLP lock 	One size	$170.00

nut is a component, is indicated for use

via a lateral or anterolateral surgical

approach, above the bifurcation of the

great vessels in the treatment of thoracic

and thoracolumbar (T1-L5) spine

instability or via the anterior surgical

approach, below the bifurcation of the

great vessels, in the treatment of lumbar

and lumbosacral (L1-S1) spine instability

as a result of fracture (including

dislocation and subluxation), tumour,

degenerative disc disease (defined as back

pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic studies),

scoliosis, kyphosis, lordosis, spinal

Orthotech Pty Ltd

OH036	Synergy/Polaris Spinal System	Hex Nut / Cap Nut	3mm	$177.00	$400.00

OH049	Synergy/Polaris Spinal System	Variable Locking Screw Nut	13.8mm	$177.00	$420.00

OH054	Interpore Bone Plate System	TPS Locked Nut	3mm	$177.00	$650.00

Scient'x Australia

SX004	Isobar TTL	Nut	Blocker, Hemispherical	$605.00

Prostheses List by Category, Groups and Sponsor	Page 227 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SX029	Lyra Nut	Short Hemispherical nut	one size only	$177.00

SX030	MX System Nut	Inner Locking nut for MX System Screws	One size only	$177.00

Synthes Australia Pty Ltd

SY174	Universal Spine System (USS)	Nut	Standard, SS	$177.00

SY186	Cervifix Posterior Cervical System	Nut	One size only	$177.00

Zimmer Pty Ltd

ZI477	Silhouette Spinal System Implants	Nut, Connector, Transverse	1 size	$177.00

ZI479	Silhouette Spinal System Implants	Nut, Locking, Polyaxial	1 size	$177.00

ZI638	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep	$177.00	$190.00

a - Nut, b - Set Screw /  Locking Screw

Johnson & Johnson Medical Pty Ltd

DY293	Crossover System (Titanium)	Crossover Nut or Ball Screw	One size only	$170.00	$250.00

b - Set Screw / Locking Screw

Austspine Pty Ltd

AJ017	Denali Spinal System / ATR Set Screw	Set Screw	8mm diameter and 4mm height	$170.00

AJ024	Smartloc Spinal Fixation System / Set 	Set screw for poyaxial pedicle screw	8mm diameter, 5mm height	$170.00

AJ038	Caspian OCT Spinal System - Set 	cervico-thoracic posterior rigid fixation 	one size only	$170.00

system

B Braun Australia Pty Ltd

BB230	S4 Spinal System	Set Screw - titanium	one size	$170.00	$230.00

Global Manufacturing Technology Pty Ltd

GM032	Optimal Spinal System	Set Screw	9 x 1.5 to 10 x 1.5mm	$170.00	$280.00

GM062	Maxima/Optima Anterior Cervical Plate 	Set Screw	One Size	$170.00	$280.00

System

GM072	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth -	5.5 - 6mm	$170.00	$204.00

Titanium alloy

Global Orthopaedic Technology

GO078	Nex-Link	Spinal Fixation System, Open Screw 	4.00mm	$170.00	$900.00

GO079	Nex-Link	Spinal Fixation System, Closed Screw Set	4.0mm	$170.00	$300.00

Screw

GO085	Incompass	Thoracolumbar Fixation System, Closed 	5.5mm	$170.00	$300.00

Implant Set Screw

Prostheses List by Category, Groups and Sponsor	Page 228 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP463	Isola System (Titanium)	Set Screw	6.35mm	$170.00

DP501	Isola System (Stainless Steel)	Set Screw	One size only	$170.00

DP832	Profile Anterior Thoracolumbar Plate 	Locking Inner Screw	One size only	$170.00

System

DY103	Isola System (Stainless Steel)	Modular Cross Connector Set Screw	One Size Only	$170.00

DY106	Isola System (Titanium)	Modular Cross Connector Set Screw	One size only	$170.00

DY108	Isola System	Titanium, Locking Screw	60-120mm	$170.00	$429.80

DY345	Summit Cervical Rod System	Transverse Connector Screw	One size only	$170.00

DY432	Expedium Spine System	Si Screw Set	4.35 - 7.5mm	$170.00	$370.00

DY444	Summit SI System	Inner Set Screw	one size	$170.00	$225.00

JJ594	Mountaineer OCT Spinal System	CT Inner Set Screw	One size only	$170.00

JJ600	Mountaineer Oct Spinal System	Transverse Connector Inner Screw	One size only	$170.00

JJ656	SI Set Screw - Expedium Anterior Spine	Single Innie Set Screw - Titanium	one size only	$170.00

System

JJ691	Mountaineer OCT Spinal System - Inner	Titanium inner screw	One size only	$170.00	$225.00

screw

JJ762	Moss Miami (Titanium)	Inner set screw	One Size	$170.00	$225.00

JJ791	Expedium Spine System - Unitised Set 	Unitised Set Screw	one size	$170.00

Screw

Lifehealthcare Pty Ltd

LH243	Spinal Fixation System	Set screw spinal system	One size only	$170.00

LH281	Blackstone Set Screw	Titanium	One size only	$170.00

LH283	Blackstone - Standard Ring Screw	Titanium	One size only	$62.00

LH313	ICON Modular Spinal Fixation System	Set Screw	one size only	$170.00

LH452	DSS Breaking Nut	The DSS Breaking Nut is a set screw that	One size only	$170.00

locks the DSS pedicle screw for final

tightening. It is an integral part of the

DSS pedicle screw system, is used every

time and can not be used on its own.

LSS Surgical Pty Limited

LS003	Solas Spinal System	Set Screw	One Size	$170.00	$300.00

LS020	SOCORE Spinal System- Locking 	Locking Screw	Standard & Mini	$170.00	$300.00

Prostheses List by Category, Groups and Sponsor	Page 229 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC394	CD Horizon	Set screw	Each in one size	$177.00

MC504	CD Horizon	Breakoff Set Screw	25 - 55mm	$170.00

MC546	Vertex Spinal System	Set screw	One size only	$170.00

MC609	CD Horizon Spinal System	Percutaneous Set Screw	25 - 60mm	$170.00	$250.00

MC654	Engage	Breakoff Set Screw	one size only	$170.00

MC667	SiLo	Set Screw	One Size only	$170.00

MC674	CD Horizon	Legacy set Screw	one size only	$170.00	$250.00

Nuvasive Australia and NZ  Pty Ltd

NV002	SpheRx	Cannulated Lock Screw	one size	$170.00

Orthotech Pty Ltd

OH043	Synergy Spinal System	Point/Double Hex Set Screw	4.75 - 6.35mm	$170.00	$390.00

OH196	Array/Ballista Spinal System	Titanium Alloy Modular Spinal System - 	one size	$170.00	$290.00

set screws

OH204	Altius Occipito-Cervico-Thoracic 	Locking and CAP Nuts	one size only	$170.00	$450.00

(OCT) System

OH309	Cosmic implant system	Cosmic Locking Screw - titanium	one size	$170.00	$500.00

OH351	Novel set screw	Set screw	4-10mm	$170.00	$350.00

Stryker Australia Pty Ltd

SK112	XIA/Oasys Spine System	Buttress thread locking nut	3.5mm - 6mm	$170.00

Synthes Australia Pty Ltd

SY010	VentroFix	Set screw	One size only	$170.00

SY135	Cervical Spine Locking Plate (CSLP) 	Locking Screw	One size only	$170.00

System

SY152	Universal Spine System (USS)	Set Screw	Standard	$170.00

SY286	USS llio-Sacral Fixation system	Locking Screw	one size only	$170.00	$490.00

SY304	TeleFix Spinal System	Posterior Locking Screw	One size only	$170.00

SY308	Axon Spinal System	Locking Set screw	One size only	$170.00

SY383	Synmesh	Locking Screw, Low Profile, For 	Small, Large	$170.00

Synmesh End Rings

SY440	Synapse	Locking Screw	One size	$170.00

Prostheses List by Category, Groups and Sponsor	Page 230 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI625	SEQUOIA PEDICLE SCREW SYSTEM	Closure Top	One size only	$170.00	$400.00

ZI641	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth -	5.5 - 6mm	$170.00	$204.00

Titanium alloy

ZI659	Nex-Link	Spinal Fixation System, Closed Screw Set	4.0mm	$170.00	$300.00

Screw

ZI665	Incompass	Thoracolumbar Fixation System, Closed 	5.5mm	$170.00	$300.00

Implant Set Screw

ZI698	Java screw system	Java Blocker	Set screw	$170.00	$325.00

ZI699	Universal Clamp	Locking Screw	.	$170.00	$550.00

ZI706	Nex-Link	Spinal Fixation System, Open Screw 	4.00mm	$170.00	$900.00

b.1a and 1b - Set Screw / Locking Screw

Scient'x Australia

SX034	Isobar TTL Inner nut	Inner Locking Nut	One size only	$170.00	$605.00

b.1b - Set Screw / Locking Screw

Nuvasive Australia and NZ  Pty Ltd

NV022	VuePoint screw (inner set)	The VuePoint system, of which the 	Tulip & Laminar Hook - One 	$170.00

VuePoint screw (inner set) is a 	Size

component, is intended to promote fusion	Offset & Occipital Connector -

of the cervical spine and occipito-	One Size

thoracic junction (occiput-T3) and is 	Parallel Rod Connector - One

indicated for degenerative disc disease (as	Size

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

c - Collar / Sleeve

Synthes Australia Pty Ltd

SY151	Universal Spine System (USS)	Sleeve	3.5 - 6mm	$225.00

SY363	Universal Spine System (USS)	Sleeve	3.5 - 6mm	$158.00	$225.00

Prostheses List by Category, Groups and Sponsor	Page 231 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI480	Silhouette Spinal System	Adjustable Transverse Connector Sleeve 	12 - 90mm lengths	$225.00

with Set Screw

d - Cap / Cover Plate

B Braun Australia Pty Ltd

BB064	Socon Spinal System	Socon Clamps	One size only	$650.00	$1,020.00

Johnson & Johnson Medical Pty Ltd

DY303	Monarch Spinal System	Typhoon Cap and Domed Nuts	One size only	$605.00

Lifehealthcare Pty Ltd

LH193	Blackstone Top Locking Plate	Holds bone screws and anterior cervical 	One size only	$650.00

plate in place

LH365	Unity Lumbar Plate	Unity Cover Plate	17-28mm	$650.00

LH448	Pillar SA	The Pillar SA PEEK Spacer system is 	37W, 40W, 43W, cover plates	$650.00

comprised of a variety of implants

manufactured from PEEK-OPTIMA LT

as described by ASTM F-2026, with

tantalum markers as described by ASTM

F-560. The implants are available in

multiple footprint sizes a variety of

heights and two angles of lordosis: 7º and

12º. The implant incorporates integrated

anterior screw holes to allow for medial

placement of screws as well as a titanium

plate for securing the screws in one

place. The superior and inferior of the

implant have a pattern of ripples that

provide increased stability and help

movement of the device.

Orthotech Pty Ltd

OH035	Synergy/Polaris Spinal System	Sliders	4.75 - 6.35mm dia	$650.00

OH310	Cosmic implant system	Cosmic Cap - titanium	one size	$650.00

Synthes Australia Pty Ltd

SY412	Lotus System	Cap	One size	$650.00

SY448	Spinal Fixation System	Locking Cap	One Size	$650.00

Prostheses List by Category, Groups and Sponsor	Page 232 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

d - Cap / Cover Plate, C - Complex

Johnson & Johnson Medical Pty Ltd

DY311	Frontier Anterior Scoliosis System 	Twist on Internal Cap	One size only	$605.00

(Titanium)

JJ647	Expedium Spine System - Dual Innie Set	DI Set Screw	one size only	$605.00

Screw

Medtronic Australasia Pty Ltd

MC657	Pyramid	Pyramid Cover Plate and Set Screw	17mm - 35mm length in 2 mm 	$605.00	$1,271.00

increments

e - Block / Clamp / Screw head

Johnson & Johnson Medical Pty Ltd

DP453	Isola Paediatric System (Stainless Steel)	Threadless TRC - Closed  or Open Body 	3/16"	$760.00	$920.00

without or with Rod

DY337	Summit Cervical Rod System	Open Cable Connector	One size only	$760.00

JJ599	Mountaineer OCT Spinal System	Transverse Connector Plate	21 - 56mm	$760.00

Lifehealthcare Pty Ltd

LH311	ICON Modular Spinal Fixation System	Multi-axial body assembly	5.5mm	$760.00

Medtronic Australasia Pty Ltd

MC294	Vertex Spinal System	Occipital Buttons	Bolt 6 - 30 mm Length	$760.00

MC307	Vertex Spinal System	Occipital Buttons	Nut 12mm Diameter	$760.00

MC377	Colorado Spinal System	Colorado 2 Clamp	.	$760.00

MC434	Colorado Spinal System	Connector for Sacral & Ilio-Sacral Plate	One size only	$760.00

MC608	TSRH	Connector	Small, Medium, Large	$760.00	$1,055.00

Orthotech Pty Ltd

OH048	Synergy/Polaris Spinal System	Variable Locking Screw Seat	5.5-6.35mm	$760.00

OH050	Synergy/Polaris Spinal System	Variable Locking Screw Reduction Seat	4.75-6.35mm	$760.00

Scient'x Australia

SX005	Isobar TTL	Clamp	Snap-on, Short, Long and 	$760.00

Monobloc

SX016	Easys	Straddler - titanium alloy	one size	$760.00

Prostheses List by Category, Groups and Sponsor	Page 233 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SK250	Trio Spinal Fixation System	Titanium - Offset Connector, Two Step 	Offset Connector - Small, 	$760.00

Locking Connector, Variable Offset 	Medium, Large

Connector

Surgical House

SU082	Double loop	Hook/screw & rod spinal system 	Left & right, 3.5 & 5.0mm	$650.00	$760.00

SU198	Olerud ME-Connector	Titanium. For polyaxial connection of 	for use with 3mm and 4mm 	$760.00

Olerud cervical pedicle screws to rod, 	Olerud screws

claws etc for fixation of the cervical

Synthes Australia Pty Ltd

SY178	Spinal Fixation System	Pedicle screw head	5 - 6mm	$760.00

SY382	Axon Occipital Fusion System	Occipital Clamp Titanium Alloy	1 or 2 holes	$760.00	$1,000.00

SY414	USS Micro-Crosslink	Crosslink Clamp	One size only	$400.00	$1,174.00

SY415	USS Micro-Crosslink	Crosslink Clamp Rod	One size only	$400.00	$1,283.00

Zimmer Pty Ltd

ZI488	Silhouette Transverse Connector Insert	Titanium	one size only	$760.00

f - Other

Global Orthopaedic Technology

GO084	Incompass	Thoracolumbar Fixation System, Open 	5.5mm	$400.00

Implant Closure Top

GO103	Pathfinder	Minimally invasive pedicle fixation system	Open Implant Closure Top 5.5mm	$400.00

Johnson & Johnson Medical Pty Ltd

DP422	Moss Miami 4mm Anterior System (SS)	12 Sided Outie	One size only	$400.00

DP459	Isola System (Titanium)	Jaw Clamp	1/4" & 3/16"	$400.00

DP474	Isola System (Stainless Steel)	Jaw Clamp	1/4" & 3/16"	$400.00

DP580	Kaneda Anterior Scoliosis System  S/S	Radiused Caps for Open Screws	3/16" 	$400.00

DY109	Carbon Fibre Cages	Stackable Cage Titanium Protective 	5-15mm	$225.00

DY185	Monarch Spinal System	Plate J-Hooks	3.5 - 11 mm	$400.00	$550.00

DY344	Summit Cervical Rod System	Transverse Connector Hook	One size only	$550.00

Nuvasive Australia and NZ  Pty Ltd

NV009	Gradient Cervical Plates	Slotted Hole/Round Cover assembly	one size	$400.00

Prostheses List by Category, Groups and Sponsor	Page 234 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Scient'x Australia

SX015	Easys	Connector Bar - titanium	L: 40-100mm	$400.00

Surgical House

SU077	Cross bar clamp	Hook/screw & rod spinal system 	For 7mm rod, for 6mm rod	$400.00	$950.00

SU078	Cross bar	Hook/screw & rod spinal system 	30,45 & 60mm	$400.00

SU199	Olerud PF Blocks	Titanium, Threaded or Non-threaded, 0, 	To suit 7mm Olerud PF Rods	$400.00	$1,200.00

10, 13mm offset

Synthes Australia Pty Ltd

SY006	Click'X Spinal Fixation System	Cap	One size only	$424.00

SY008	VentroFix	Clamp	Single, Double, Fracture, Left, 	$1,500.00

Right

SY144	Universal Spine System (USS)	Fracture Clamps	Cranial, Standard, Low Profile	$400.00	$1,278.00

SY146	Universal Spine System (USS)	Cross Link Rod	40-80mm length 	$400.00

SY307	Pangea Spinal System	Locking Cap	One size only	$424.00

SY326	Spinal Plate/Plate System AO/ASIF 	Internal fixator - cross link clamp	One size only	$400.00	$1,174.00

Spinal Implants

SY357	ECD - Expandable Corpectomy Device	Locking clip, PEEK/Titanium	Universal	$300.00

SY359	Universal Spine System (USS)	Fracture Clamps	Cranial, Standard, Low Profile	$400.00	$1,278.00

SY361	Universal Spine System (USS)	Cross Link Rod	40 - 80mm Length	$400.00

Zimmer Pty Ltd

ZI478	Silhouette Spinal System I	Adjustable Transverse Connector Rod	1 size	$400.00

ZI664	Incompass	Thoracolumbar Fixation System, Open 	5.5mm	$400.00

Implant Closure Top

ZI682	Pathfinder	Minimally invasive pedicle fixation system	Open Implant Closure Top 5.5mm	$400.00

Group 4 - Fixation: Connector

Group 4a - Connector, In-line

Austspine Pty Ltd

AJ012	Denali Spinal System / In-Line Fixation 	In-line connector for linking rods	Varied	$760.00

Connector

Johnson & Johnson Medical Pty Ltd

DP305	Moss Miami (Stainless Steel)	Axial Connector	5mm/5mm and 5mm/7mm	$760.00

Prostheses List by Category, Groups and Sponsor	Page 235 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP413	Moss Miami (Titanium)	Axial Connector	5mm/5mm	$760.00

DP462	Isola System (Stainless Steel)	Wedding Band	1/4 " & 3/16"	$760.00

DP466	Isola System (Titanium)	Wedding Band	1/4" & 3/16"	$760.00

DP490	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	$760.00

DY184	Monarch Spinal System	Dual Rod Connectors End to End or Side 	6.35 to 6.35mm or 6.35 to 	$760.00

by Side	5.5mm or 6.35 to 4.75mm

DY518	Isola System (Stainless Steel)	Domino Connector	1/4" & 3/16"	$760.00

JJ635	Expedium Spine System – Dual Rod 	Dual Rod Connector	4.75, 5.5 & 6.35mm	$760.00

Connector

JJ794	Mountaineer OCT Spinal System	Dual Rod Connectors	3.5 - 3.5mm, 3.5 - 4.75mm, 3.5	$760.00

- 5.5mm, 3.5 - 6.35mm

JJ795	Mountaineer OCT Spinal System	Adjustable axial Connector	3.5 - 3.5mm, 3.5 - 4.75mm, 3.5	$760.00	$1,060.00

- 5.5mm

Medtronic Australasia Pty Ltd

MC407	CD Horizon	Domino	3.2mm, 3.5mm, 4.5mm, 	$760.00

5,5mm, 6.35mm

MC409	CD Horizon	Domino & Axial Connector	4.5mm, 5.5mm and 6.35mm	$760.00

MC542	Vertex Spinal System	Connector	Length 10 - 13mm; diameter 3.2	$760.00

- 6.35mm

MC635	CD Horizon	Legacy In-Line Connector	Length 40-110mm	$760.00	$1,600.00

Nuvasive Australia and NZ  Pty Ltd

NV021	VuePoint inline connector	The VuePoint system, of which the 	3.5mm x (3.5/4.5/6.5)mm	$760.00

VuePoint inline connectors are a

component, is intended to promote fusion

of the cervical spine and occipito-

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Prostheses List by Category, Groups and Sponsor	Page 236 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH205	Altius Occipito-Cervico-Thoracic 	Domino Adjustable CC Left & Right	One size only	$760.00

(OCT) System

Stryker Australia Pty Ltd

HW386	Xia Spine System	Rod Clamp - Parallel, Axial	One size only	$760.00

Synthes Australia Pty Ltd

SY011	VentroFix	Parallel connector	6.0/6.0mm	$760.00	$919.00

SY015	CerviFix Posterior Cervical System	Parallel connector	3.5/3.5, 3.5/5.0, 3.5/6.0	$760.00	$919.00

SY147	Universal Spine System (USS)	Connectors	Parallel, In-line, Transverse, SS,	$760.00	$1,000.00

15 - 25mm

SY442	Synapse	Parallel Connector	3.5/3.5-6.0mm	$760.00	$919.00

Zimmer Pty Ltd

ZI609	Optima Spinal Fixation System	Optima Spinal Fixation System - Rod 	Small, Large, 2 Hole, 3 Hole, 4 	$760.00	$919.00

Connectors	Hole

C - Complex

Johnson & Johnson Medical Pty Ltd

DP495	Isola Paediatric System (Stainless Steel)	Growth/Tandem Connector	3/16"	$1,060.00

JJ792	Expedium 4.5 System Tandem 	Expedium extended growth Tandem 	40 - 80mm	$1,060.00	$1,670.00

Connectors

Group 4b - Connector, Offset

Austspine Pty Ltd

AJ011	Denali Spinal System / Offset Fixation 	Offset connector for linking rods	Varied	$760.00

Connector

Global Manufacturing Technology Pty Ltd

GM029	Optimal Spinal System	Axial/Lateral Connectors	Various	$760.00	$1,055.00

GM065	Maxima/Optima Anterior Cervical Plate 	Axial/Lateral Connections	7.5mm-30mm	$600.00

System

Global Orthopaedic Technology

GO086	Incompass	Thoracolumbar Fixation System, Offset 	9.5 - 30mm	$760.00	$817.00

Connector Open

GO087	Incompass	Thoracolumbar Fixation System, Offset 	7.5 - 30mm	$760.00	$817.00

Connector Closed

Prostheses List by Category, Groups and Sponsor	Page 237 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GO106	OctaFix	Occipital Cervical Plating System	Screw Offset Connector	$600.00	$759.00

Johnson & Johnson Medical Pty Ltd

DP060	VSP System (Stainless Steel)	Sacral Connector - Left & Right Offset	One size only	$760.00

DP454	Isola System (Titanium)	Slotted Connectors Standard or Extended 	1/4" & 3/16"	$760.00

or Offset or Angled or Open or Twister

DP469	Isola System (Stainless Steel)	Slotted Connectors  - Standard or 	1/4" & 3/16"	$760.00

Extended or Offset or Angled or Open or

DP842	Moss Miami (Stainless Steel)	Sacral Extender	5mm x 5 - 20mm length	$760.00

DP843	Moss Miami (Titanium)	Sacral Extender	5.5mm x 5 - 20mm in length	$760.00

DY094	Isola Paediatric System	Stainless Steel, Slotted Connector 	3/16"	$760.00

DY179	Monarch Spinal System	Slotted Connectors 	One size only	$760.00

(Straight/Extended/Offset/Twister/Mini

Offset)

DY186	Monarch Spinal System	Band Clamp Connector	6.35 & 5.5mm	$760.00

DY342	Summit Cervical Rod System	Connectors Left or Right or Neutral	One size only	$600.00

DY443	Summit SI System	Connectors	Various	$600.00

DY519	Isola System (Stainless Steel)	Offset Connector	1/4" & 3/16"	$760.00

JJ607	Expedium Spine System	Lateral Connector, Open or Closed	5.5-6.35mm x 20 - 500mm length	$760.00

JJ692	Mountaineer OCT Spinal System - 	Lateral Offset, Cable and J Hook 	One size only	$760.00

Lateral Offset, Cable and J Hook

Lifehealthcare Pty Ltd

LH312	ICON Modular Spinal Fixation System	Offset body assembly	8, 11, 14mm	$600.00	$760.00

LSS Surgical Pty Limited

LS008	Solas Spinal System	Axial/Lateral Connectors	Small to Large	$760.00

Medtronic Australasia Pty Ltd

MC376	Colorado Spinal System	Colorado 2 Connector	For 5mm rod and 5.5mm rod	$760.00

MC665	Engage	Connector	Small, Medium, Large	$760.00

MC668	CD Horizon	Legacy lliac Lateral Connector	20 - 60mm	$760.00

MC676	SiLo	Lateral Connector	10-40mm	$760.00

Prostheses List by Category, Groups and Sponsor	Page 238 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nuvasive Australia and NZ  Pty Ltd

NV029	VuePoint offset connector	The VuePoint system, of which the 	11mm, 25mm, 30mm - Offset 	$600.00

VuePoint offset connectors are a 	Lateral Connector

component, is intended to promote fusion	3.5mm x (3.5/4.5/5.5/6.25mm)

of the cervical spine and occipito-	- Offset Rod-to-Rod connector

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as	Eyelet Connector (Occipital) -

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Orthotech Pty Ltd

OH042	Synergy/Polaris Spinal System	Lateral Connectors (Closed Rod)	4.75 - 6.35mm	$760.00	$920.00

OH350	Novel cross link	Cross Link	16-56mm	$760.00	$950.00

Stryker Australia Pty Ltd

HW391	Xia Spine System	Connector - Axial, Dual, Offset	4.5mm - 6mm	$760.00

HW392	Xia Spine System	Sacral Block	One size only	$760.00

Surgical House

SU090	Screw link  	Hook/screw & rod spinal system 	0 degrees, 15 degrees, 30 degrees	$760.00

Synthes Australia Pty Ltd

SY012	CerviFix Posterior Cervical System	Clamp	Left, Right, Medial, Lateral, 	$600.00

Pedicle, Lamina

SY287	USS llio-Sacral Fixation system	Transconnecting bar	One size only	$760.00	$1,100.00

SY288	USS llio-Sacral Fixation system	Sacral clamp	One size only	$760.00	$1,420.00

SY310	Axon Spinal System	transverse bar	one size only	$600.00

SY366	Axon Spinal System	transverse bar	one size only	$600.00

Zimmer Pty Ltd

ZI610	Optima Spinal Fixation System	Optima Spinal Fixation System - Rod 	Various Sizes - Open & Closed	$760.00	$919.00

Connectors

ZI666	Incompass	Thoracolumbar Fixation System, Offset 	9.5 - 30mm	$760.00	$817.00

Connector Open

Prostheses List by Category, Groups and Sponsor	Page 239 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI667	Incompass	Thoracolumbar Fixation System, Offset 	7.5 - 30mm	$760.00	$817.00

Connector Closed

ZI685	OctaFix	Occipital Cervical Plating System	Screw Offset Connector	$600.00	$759.00

ZI697	Java screw system	Sacral fixation	Left and right	$760.00	$1,550.00

1 - System

Johnson & Johnson Medical Pty Ltd

JJ739	Expedium Spine system	Open and closed Polyaxial connectors 	5.5 x 6.35 x 20-200mm	$760.00	$960.00

with or without end tab

Group 4c - Connector, Transverse (Rod-to-Rod)

Austofix

AX058	Capless LI  Pedicle screw system - X 	Titanium, lowprofile transverse 	low profile, multiple sizes, 25-	$920.00

Link cross connector - Fixed	crossconnector	35mm

B Braun Australia Pty Ltd

BB228	S4 Spinal System	S4 Cross & Lateral Offset Connector	Rigid 7 - 41mm	$920.00	$1,250.00

Global Manufacturing Technology Pty Ltd

GM031	Optimal Spinal System	Traverse Link Assembly	40 to 80mm	$920.00

GM063	Maxima/Optima Anterior Cervical Plate 	Traverse Link assembly	44mm - 75mm	$920.00

System

Global Orthopaedic Technology

GO081	Nex-Link	Spinal Fixation System, Transverse 	4.00mm Rod x 25mm - 45 length	$760.00	$800.00

Connectors

Johnson & Johnson Medical Pty Ltd

DP450	Kaneda SR (Smooth Rod)  Anterior  (TI)	Plates	Small/Large -  Caudal or Rostral	$920.00

DP451	Kaneda SR (Smooth Rod)  Anterior  (TI)	Transverse Coupler	1/4" x 13 - 16mm	$920.00

DY100	Isola System (Stainless Steel)	Threadless TRC - Closed or Open Body 	1/4" & 3/16"	$920.00

with or without Rod

JJ652	Cross Connector - Expedium Anterior 	Drop and Lock One Piece Connector-	13 to 20mm	$920.00

Spine System	Titanium

Prostheses List by Category, Groups and Sponsor	Page 240 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nuvasive Australia and NZ  Pty Ltd

NV020	VuePoint Fixed Cross Connector	The VuePoint system, of which the 	26mm-50mm	$760.00

VuePoint fixed cross connector is a

component, is intended to promote fusion

of the cervical spine and occipito-

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

studies), degenerative spondylolisthesis

with objective evidence of neurologic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Orthotech Pty Ltd

OH041	Synergy/Polaris Spinal System	Fixed Transverse Connectors	10.5 - 31.5mm	$920.00	$1,200.00

OH308	Cosmic implant system	Cosmic Cross Links - titanium Bonit 	cosmic transversal stabilizer, 	$920.00	$1,500.00

drop on leftcosmic transversal

stabilizer, drop on right

Stryker Australia Pty Ltd

SK227	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Transverse Connector; Offset 	$760.00

Connector; Rod to Rod

SK241	Xia Spinal System	Titanium or Stainless Steel Cross 	15-20mm	$920.00

Zimmer Pty Ltd

ZI661	Nex-Link	Spinal Fixation System, Transverse 	4.00mm Rod x 25mm - 45 	$760.00	$800.00

Connectors	length; 4.00mm Rod x 4.00mm

& 5.5mm (band), 4.00mm Rod

x 4.00 &5.5mm (inline)

1 - System

Austofix

AX057	Capless LI  Pedicle screw system - X 	Titanium, lowprofile transverse dual 	Low profile, Multiple sizes, 37-	$1,350.00

Link cross connector - Variable	articulation crossconnector	80mm

Austspine Pty Ltd

AJ023	Smartloc Spinal Fixation 	Cross link for Smartloc Spinal Fixation 	Telescopes to 70mm	$1,350.00

System/Transverse Link	System

Prostheses List by Category, Groups and Sponsor	Page 241 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AJ027	Mesa Spinal System / Natural Bridge 	Adjustable Transverse Connector	Small: 38mm-43mm, Medium: 	$1,350.00

Adjustable Transverse Connector	43mm-53mm, Large: 53mm-

73mm, X-Large: 73mm-93mm

B Braun Australia Pty Ltd

BB229	S4 Spinal System	S4 Cross, Rod & Cable Connector - 	Variable 28 - 75mm	$1,350.00	$1,500.00

Global Manufacturing Technology Pty Ltd

GM075	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium 	5.5 - 6mm x 15 - 35mm	$1,350.00	$1,450.00

GM076	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - 	5.5 - 6mm x 39.5 - 75mm	$1,350.00	$1,670.00

Titanium alloy

Johnson & Johnson Medical Pty Ltd

DP301	Moss Miami (Stainless Steel)	Transverse Connector - Complete	One size only	$1,350.00

DP412	Moss Miami (Titanium)	Transverse Connector - Complete	One size only	$1,350.00

DP470	Isola System (Stainless Steel)	Transverse Rod Connector or Dual Rod 	1/4" & 3/16"	$1,350.00

Connector

DP499	Isola System (Titanium)	Transverse Connector or Dual Rod 	1/4" & 3/16"	$1,350.00

DY289	Crossover System (Titanium)	Crossconnector	Small 18-30mm	$1,350.00

DY290	Crossover System (Titanium)	Crossconnector	Medium 32-45mm	$1,350.00

DY292	Crossover System (Titanium)	Crossconnector	Large 45-107mm	$1,350.00

DY306	Isola System (Titanium)	Threadless TRC - open body with or 	1/4" & 3/16"	$1,350.00

without rod

DY336	Summit Cervical Rod System	Cross Connector	One size only	$1,350.00

JJ766	Expedium SFX Cross Connector 	Fixed Length Cross Connector	15mm - 36mm Length, 4.5, 5.5,	$1,350.00

6.35mm rod diameter

JJ767	Expedium SFX Cross Connector 	Variable Length Cross Connector	26mm - 100 mm Length, 4.5, 	$1,350.00

5.5, 6.35mm rod diameter

Lifehealthcare Pty Ltd

LH239	Spinal Fixation System	Multi Axial Cross Connector Assembly - 	30mm - 75mm in 5mm 	$1,350.00

Titanium/Lateral Offset

LH278	Blackstone - Posterior Cervical System	Cross-Connector	20, 25, 30, 35, 40, 45, 50mm	$1,350.00

LSS Surgical Pty Limited

LS002	Solas Spinal System	Traverse Link Assembly	30mm - 120mm	$1,350.00

LS016	SOCORE Spinal System - Crosslink	Crosslink	45mm, 55mm, 65mm	$1,350.00

Prostheses List by Category, Groups and Sponsor	Page 242 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC408	CD Horizon	Crosslink, Plate, Multi-span late, Offset 	60 - 200mm	$1,350.00

plate, Transverse links

MC496	Tenor	Transverse Links - Titanium	40-100mm	$1,350.00

MC590	Vertex Reconstruction System Crosslink	Composition -  titanium alloy. The system	One size only	$1,350.00

allows for the adaptation of components

from other Sofamor Danek systems to

provide for constructs tailor made for

MC634	CD Horizon	X10 Crosslink	Multi-Span Plate: 25-81mm	$1,350.00	$2,990.00

MC708	CD Horizon	X10 Crosslink	Fixed Plate: 16-31mm	$1,350.00

Nuvasive Australia and NZ  Pty Ltd

NV003	SpheRx	Transverse X-Connector	45 - 100mm	$1,350.00

Orthotech Pty Ltd

OH040	Synergy/Polaris Spinal System	Adjustable Transverse Connector With 	3 - 6cm	$1,350.00

Rod/Clamp

OH197	Array Spinal System	Titanium Alloy Modular Spinal System - 	Large, Medium, Small, Xsmall, 	$1,350.00

cross connector	24mm, 22mm, 20mm, 18mm,

16mm

OH206	Altius Occipito-Cervico-Thoracic 	Connector	15, 30,  45 L&R	$760.00

(OCT) System

Stryker Australia Pty Ltd

HW390	XIA Spine System	Cross Link	Length 20mm - 99mm	$1,350.00

Synthes Australia Pty Ltd

SY250	Universal Spine System	Low Profile Transconnector	18-83mm length	$1,350.00	$2,456.00

SY398	Axon Spinal System - Transconnector	Axon Transconnector	60mm - 75mm	$1,350.00

Zimmer Pty Ltd

ZI510	Optima Spinal System - Transverse Link	Transverse Link Assembly	Small, Medium, Large	$1,350.00

Assembly

ZI623	SEQUOIA PEDICLE SCREW SYSTEM	SpeedLink II Ti	Small, Medium, Large	$1,350.00

ZI644	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium 	5.5 - 6mm x 15 - 35mm	$1,350.00	$1,450.00

ZI645	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - 	5.5 - 6mm x 39.5 - 75mm	$1,350.00	$1,670.00

Titanium alloy

ZI704	Java screw system	Transverse connector	Length 52, 62, 72, 82	$1,350.00

Prostheses List by Category, Groups and Sponsor	Page 243 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 5 - Fixation: Hook

Group 5a - Hook, Open

Austspine Pty Ltd

AJ014	Denali Spinal System / Open Hook	Thoracic and Lumbar Open Hooks	Various blade and throat sizes	$820.00

AJ037	Caspian OCT Spinal System - Hook	cervico-thoracic posterior rigid fixation 	3.5mm Posterior Cervical hook	$820.00

system

B Braun Australia Pty Ltd

BB002	Aesculap Hook System	Laminar Hook, Left & Right	Thick & Thin	$820.00

Global Manufacturing Technology Pty Ltd

GM020	Optimal Spinal System	Hooks-open & closed-pedical & laminar	Various	$820.00

GM064	Maxima/Optima Anterior Cervical Plate 	Hooks Open & Closed - Pedicle & 	6.5mm-11mm	$820.00

System

GM073	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm	$820.00

Global Orthopaedic Technology

GO091	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

Johnson & Johnson Medical Pty Ltd

DP299	Moss Miami (Stainless Steel)	Hooks - Pedicle	One size only	$820.00

DP300	Moss Miami (Stainless Steel)	Hooks - Laminar as Wide or Narrow or 	Various Sizes	$820.00

Angled or Reduced Distance Supra-

laminar or Offset or Extended Body

DP329	Moss Miami (Stainless Steel)	Hooks - Translation (Pedicle/Reduced 	One size only	$820.00

Distance/Narrow/Wide Blade)

DP410	Moss Miami (Titanium)	Hooks - Pedicle	3-5 mm	$820.00

DP411	Moss Miami (Titanium)	Hooks - Laminar as Wide or Narrow or 	One size only	$820.00

Angled or Reduced Distance Supra-

laminar or Offset or Extended Body

DP418	Moss Miami (Titanium)	Hooks - Translation	One size only	$820.00

DP465	Isola System (Titanium)	Open Hook and / or Cap	1/4" & 3/16" x 5-11mm	$400.00	$820.00

DP472	Isola System (Stainless Steel)	Open Hook Cap or Open	1/4" & 3/16" x 5-11mm	$820.00

DP487	Isola Paediatric System (Stainless Steel)	Side Tightening Hook - Opened/Closed	3/16" x 3.5mm - 11mm	$820.00

DP845	Moss Miami 4mm Anterior System (SS)	Hooks	4mm	$820.00

Prostheses List by Category, Groups and Sponsor	Page 244 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY304	Monarch Spinal System	Hooks - Open (Pedicle/Narrow 	5-11mm	$820.00

Tapered/Wide Blade)

DY438	Expedium Spine System	Hooks, Right, Left, Angled, Offset, 	8 - 10mm including narrow - 	$820.00

Extended, Reduced Bladed

JJ595	Mountaineer OCT Spinal System	CT Hook	3.5mm - Small, Medium, Large	$820.00

JJ761	Moss Miami (Titanium)	Slotted Hook	One Size	$820.00	$1,050.00

JJ765	Moss Miami (Stainless Steel)	Slotted Hook	One Size	$820.00

Lifehealthcare Pty Ltd

LH270	Blackstone - Posterior Hook	Titanium	Large/Angled/Offset/Left/Right/	$820.00

Narrow/Wide/ThoracicLaminar/

Lumbar Laminar

LSS Surgical Pty Limited

LS014	SOCORE Spinal Spinal - Hooks, 	Hooks, Pedicle/Laminar	Standard, Medium and Offset	$820.00

Pedicle/Laminar

LS024	Solas Spinal System	Hooks open, Pedicle and Lamina	4mm -11mm	$820.00

Medtronic Australasia Pty Ltd

MC375	Colorado Spinal System	Open Hooks	5.5mm - 6.35mm	$820.00

MC397	TSRH Spinal Implant System	3D - Hook, Offset, left, right, laminar, 	Large - small	$820.00

pedicle, Stainless steel, Titanium

MC406	CD Horizon	Hook - various	Small, Medium or Large	$820.00

MC591	Vertex Reconstructive System Laminar 	Composition -  titanium alloy	4.5 - 6.0mm	$820.00

Hook

MC677	SiLo	Hook	Right, left, front	$820.00

Nuvasive Australia and NZ  Pty Ltd

NV004	SpheRx	Hooks	one size	$820.00

Prostheses List by Category, Groups and Sponsor	Page 245 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NV030	VuePoint hook (laminar)	The VuePoint system, of which the 	5.0mm, 7.0mm	$820.00

VuePoint hook (laminar) is a component,

is intended to promote fusion of the

cervical spine and occipito-thoracic

junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by

back pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Orthotech Pty Ltd

OH038	Synergy Spinal System	Open/Closed Offset Hooks	4mm	$820.00	$950.00

OH039	Synergy Spinal System	Open/Closed Hooks Pedicle/Laminar	4.75 - 6.35mm dia	$820.00	$950.00

OH198	Array Spinal System	Titanium Alloy Modular Spinal System - 	one size	$820.00	$990.00

laminar hook and pedicle hook

OH208	Altius Occipito-Cervico-Thoracic 	Hook and OC Screws	Hook:  12mm to 14mm (L&R), 	$820.00	$1,200.00

(OCT) System	OC Screws: 6mm to 20mm

Scient'x Australia

SX006	Isobar TTL	Hooks	Small, Large, offset	$820.00

Stryker Australia Pty Ltd

HW405	Xia Spine System	Hooks	Laminar and Pedicle Hooks	$820.00	$1,375.00

SK222	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Hook, Standard Short; Hook, 	$820.00

Standard Tall; Hook, Offset,

Right; Hook Offset, Left

Surgical House

SU093	Lamina hook short	Hook/screw & rod spinal system 	Short & long	$820.00

component, left & right

SU094	Lamina compression hook	Hook/screw & rod spinal system 	c1-claw	$820.00

Synthes Australia Pty Ltd

SY306	Pangea Spinal System	Pedicle and Lamina Hooks	Extra small to Extra Large	$820.00

SY325	Universal Spine System	Hook	Small, Medium, Large, Lamina, 	$820.00

Thoracic, Pedicle

SY443	Synapse	Lamina Hook, Top Loading	right, left, straight, short, long	$820.00

Prostheses List by Category, Groups and Sponsor	Page 246 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI527	Optima Spinal Fixation System - Hooks	Titanium Alloy	Various	$820.00

ZI642	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm	$820.00

ZI671	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

Group 5b - Hook, Closed

Austspine Pty Ltd

AJ013	Denali Spinal System / Closed Hook	Thoracic and Lumbar Closed Hooks	Various blade and throat sizes	$820.00

Global Manufacturing Technology Pty Ltd

GM095	Optimal Spinal System	Hooks - open & closed - pedical & laminar	Various	$820.00

Global Orthopaedic Technology

GO121	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

Johnson & Johnson Medical Pty Ltd

DP464	Isola System (Titanium)	Closed Hooks	1/4" x 3/16" x 5-11mm	$820.00

DP471	Isola System (Stainless Steel)	Closed Hooks	1/4" & 3/16" x 5-11mm	$820.00

DY178	Monarch Spinal System	Hooks - Closed (Narrow Tapered / wide 	5 - 11 mm	$820.00

Blade)

LSS Surgical Pty Limited

LS025	Solas Spinal System	Hooks closed, Pedicle and Lamina	4mm - 11mm	$820.00

Medtronic Australasia Pty Ltd

MC724	Colorado Spinal System	Closed Hooks	5.5mm-6.35mm	$820.00

Orthotech Pty Ltd

OH244	Synergy Spinal System	Infant Hooks	4.75mm	$820.00	$980.00

Synthes Australia Pty Ltd

SY013	CerviFix Posterior Cervical System	Hook	Small, Large, Left, Right	$820.00

Zimmer Pty Ltd

ZI692	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$820.00

C - Complex

Synthes Australia Pty Ltd

SY039	Spinal Plate/Plate System AO/ASIF 	Spondylolysis hook screw (complete) 	Screw 45 - 60mm	$820.00

Spinal Implants	small & large

Prostheses List by Category, Groups and Sponsor	Page 247 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 6 - Fixation: Plate

Group 6a - Plate, Integral Fixation

Austofix

AX061	Spider Cervical Plating System - Spider 	Titanium, Anterior Cervical Plate System 	22-54mm	$1,400.00	$1,600.00

Plate

Austspine Pty Ltd

AJ032	Cayman Thoracolumbar Plate System / 	A thoracolumbar plate system consisting 	22mm to 109mm	$2,400.00

of plates of various lengths and sizes and

a range of fixation screws

Global Manufacturing Technology Pty Ltd

GM026	Maxima/Optima Anterior Cervical Plate 	Anterior Cervical Plates	24mm to 108mm	$1,400.00	$1,600.00

System

GM080	AcuFix	1 segment SlimLine plate - Anterior 	20 - 34mm	$1,400.00	$1,550.00

cervical plate system - Titanium

GM081	AcuFix	2 segment SlimLine plate - Anterior 	34 - 54mm	$1,400.00	$1,550.00

cervical plate system - Titanium

GM082	AcuFix	3 segment SlimLine plate - Anterior 	47 - 71mm	$1,400.00	$1,800.00

cervical plate system - Titanium

GM084	AcuFix	2 segment Corpectomy plate - Anterior 	34 - 54mm	$1,400.00	$1,550.00

cervical plate system - Titanium

GM085	AcuFix	3 segment Corpectomy plate - Anterior 	53 - 77mm	$1,400.00	$1,800.00

cervical plate system - Titanium

GM098	AcuFix	2 segment SlimLine plate - Anterior 	34 - 54mm	$1,400.00	$1,450.00

cervical plate system - Titanium

GM099	AcuFix	3 segment SlimLine plate - Anterior 	47 - 71mm	$1,400.00	$1,800.00

cervical plate system - Titanium

Global Orthopaedic Technology

GO093	AcuFix	1 segment ThinLine plate	20 - 36mm	$1,400.00	$1,550.00

GO094	AcuFix	2 segment ThinLine plate	34 - 54mm	$1,400.00	$1,550.00

GO095	AcuFix	1 segment Ant-Cer dynamic plate	24 - 32mm	$1,400.00	$1,550.00

GO096	AcuFix	2 segment Ant-Cer dynamic plate	34 - 54mm	$1,400.00	$1,550.00

GO097	AcuFix	3 segment Ant-Cer dynamic plate	50 - 71mm	$1,400.00	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 248 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY522	Slim-loc Anterior Cervical Plate System	Plates - various levels	22-55mm	$1,400.00	$1,800.00

DY523	Swift Spine System	Titanium Anterior Cervical Plate System -	15 - 55mm	$1,400.00	$1,800.00

Various size plates

DY524	Uniplate ACP System	Titanium Anterior Cervical Plate	13-55mm	$1,400.00	$1,600.00

DY525	Swift Spine System	Titanium Anterior Cervical Plate System -	46-55mm	$1,400.00	$1,800.00

Corpectomy Plate

JJ518	AEGIS ALP	Curved anterior lumbar plate	4-25mm	$2,400.00

JJ695	Mountaineer OCT Spinal System - OC 	Titanium Occipital Plate	31 - 45mm	$1,400.00	$1,740.00

JJ800	Skyline Cervical Plate System	Skyline anterior cervical plate. Various 	12-55mm	$1,400.00	$2,010.00

size plates, Titanium

Lifehealthcare Pty Ltd

LH363	Unity Lumbar Plate	Unity Plate	17-28mm	$2,400.00

LH429	Blackstome Medical Inc Anterior 	Titanium alloy plate L1-L2	22mm - 54mm	$1,400.00

Cervical Plate System

LH430	Blackstone Medical ACP - Level 1 & 2	Titanium Alloy ACP L1-L2	22mm - 54mm	$1,400.00

LSS Surgical Pty Limited

LS026	MATRIS Cervical Plate System	Cervical Plate 20mm to 55mm	< 55	$1,400.00	$2,700.00

Medtronic Australasia Pty Ltd

MC346	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy 	20mm - 50mm	$1,400.00	$1,500.00

and Nitinol

MC418	Atlantis Anterior Cervical Plate	Plate	19.0mm -  47.5mm	$1,400.00	$1,450.00

MC419	Atlantis Anterior Cervical Plate	Anterior Cervical Plate	50mm - 55mm	$1,400.00	$1,450.00

MC610	Vantage	Vantage plates and Screws; Thoracic Plate	3.5 - 8cm	$2,400.00	$3,700.00

MC612	Vantage	Vantage Plates and Screws; ATL Plate	4 - 10cm	$2,400.00	$3,700.00

MC653	Xantus	Xantus cover Plate and Set Screw	40mm - 100mm Length in 4mm 	$2,200.00

increments

MC655	Xantus	Xantus Plate	40mm -100mm length in 4mm 	$2,400.00	$2,675.00

increments

MC661	Pyramid	Pyramid Plate	17mm - 35mm	$2,400.00	$2,675.00

MC706	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy 	52.5mm - 55mm	$1,400.00	$1,450.00

and Nitinol

MC819	Pyramid +4	Anterior Plate	Height: 33mm - 45mm	$2,200.00	$3,700.00

Prostheses List by Category, Groups and Sponsor	Page 249 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC863	Zephir Anterior Cervical Plate	Anterior Cervical Plate	22.5mm - 55mm	$1,400.00	$1,600.00

MC865	Premier Anterior Cervical Plate	Anterior Cervical Plate	23mm - 55mm	$1,400.00	$1,600.00

Nuvasive Australia and NZ  Pty Ltd

NV008	Gradient Cervical Plates	Titanium Anterior Plate	11 - 110mm	$1,400.00

Orthotech Pty Ltd

OH063	Anterior Cervical Plate System	Titanium Locking Plate	20 - 140mm	$1,400.00	$2,600.00

OH240	Vuelock (Anterior Cervical Plate)	Vuelock (Anterior Cervical Plate)	Level 1-4, 12mm - 92mm	$1,400.00	$2,600.00

Scient'x Australia

SX008	Antelys	Plate	H: 19-23mm	$1,400.00	$3,000.00

SX011	Stella	Anterior cervical plate - titanium	L: 21-121mm	$1,400.00

SX024	Lyra plate	Antero-lateral thoraco-lumbar plate	length 40mm; 45mm; 50mm; 	$2,400.00

55mm; 60mm; 65mm; 70mm;

80mm; 90mm 100mm; 110mm

Stryker Australia Pty Ltd

SK488	THOR Anterior Lumbar Plate	Anterior Lumbar Plate, one level, 	22mm to 40mm	$2,200.00

compression, non compression

SR085	Reflex Anterior Cervical Plate System	Plate	≤55mm	$1,400.00

Synthes Australia Pty Ltd

SY139	Spinal Plate/Plate System AO/ASIF 	Anterior thoracolumbar plate - locking	40mm - 109mm	$2,400.00	$3,168.00

Spinal Implants

SY290	Anterior Tension Band	Plate	30mm to 110mm	$2,200.00	$2,833.00

Zimmer Pty Ltd

ZI489	Trinica Select Anterior Cervical Plate	Titanium plate for anterior cervical spine. 	Plates for 1 or 2 levels are from 	$2,400.00

Used to assist spinal fusion.  Attached to 	22 to 52mm long in 2mm

the bone using screws.	increments; Plates for 3 levels

are from 51-72mm long in 3mm

ZI518	Trinica Anterior Lumbar Plate	Lumbar Plate, Titanium	37-51mm lengths	$2,400.00

ZI519	Trinica Anterior Lumbar Plate	Sacral Plate, Titanium	33-51mm lengths	$2,400.00

ZI649	AcuFix	1 segment SlimLine plate - Anterior 	20 - 34mm	$1,400.00	$1,550.00

cervical plate system - Titanium

ZI650	AcuFix	2 segment SlimLine plate - Anterior 	34 - 54mm	$1,400.00	$1,550.00

cervical plate system - Titanium

Prostheses List by Category, Groups and Sponsor	Page 250 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI651	AcuFix	3 segment SlimLine plate - Anterior 	47 - 71mm	$1,800.00

cervical plate system - Titanium

ZI652	AcuFix	4 segment SlimLine plate - Anterior 	68 - 92mm	$1,800.00

cervical plate system - Titanium

ZI653	AcuFix	2 segment Corpectomy plate - Anterior 	34 - 54mm	$1,400.00	$1,550.00

cervical plate system - Titanium

ZI654	AcuFix	3 segment Corpectomy plate - Anterior 	53 - 77mm	$1,800.00

cervical plate system - Titanium

ZI655	AcuFix	4 segment Corpectomy plate - Anterior 	68 - 101mm	$1,800.00

cervical plate system - Titanium

ZI656	AcuFix	3 segment SlimLine plate - Anterior 	47 - 71mm	$1,800.00

cervical plate system - Titanium

ZI672	AcuFix	1 segment ThinLine plate	20 - 36mm	$1,400.00	$1,550.00

ZI673	AcuFix	2 segment ThinLine plate	34 - 54mm	$1,400.00	$1,550.00

ZI674	AcuFix	1 segment Ant-Cer dynamic plate	24 - 32mm	$1,400.00	$1,550.00

ZI675	AcuFix	2 segment Ant-Cer dynamic plate	34 - 54mm	$1,400.00	$1,550.00

ZI676	AcuFix	3 segment Ant-Cer dynamic plate	50 - 71mm	$1,800.00

ZI677	AcuFix	4 segment Ant-Cer dynamic plate	68 - 96mm	$1,800.00

ZI707	AcuFix	2 segment SlimLine plate - Anterior 	34 - 54mm	$1,400.00	$1,450.00

cervical plate system - Titanium

1 - Cervical Plate > 55mm

Austofix

AX062	Spider Cervical Plating System - Spider 	Titanium, anterior cervical plate system	56-77mm	$1,800.00

Plate

Global Manufacturing Technology Pty Ltd

GM083	AcuFix	4 segment SlimLine plate - Anterior 	68 - 92mm	$1,800.00

cervical plate system - Titanium

GM086	AcuFix	4 segment Corpectomy plate - Anterior 	68 - 101mm	$1,800.00

cervical plate system - Titanium

Global Orthopaedic Technology

GO098	AcuFix	4 segment Ant-Cer dynamic plate	68 - 96mm	$1,800.00

Johnson & Johnson Medical Pty Ltd

DY299	Slim-loc Anterior Cervical Plate System	Plates - three level	56-78mm	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 251 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY450	Swift Spine System	Titanium Anterior Cervical Plate System -	56-115mm	$1,800.00

various size Plates

DY526	Swift Spine System	Titanium Anterior Cervical Plate System -	56-102mm	$1,800.00

Corpectomy Plate

JJ801	Skyline Cervical Plate System	Skyline anterior cervical plate. Various 	56-105mm	$1,800.00	$2,010.00

size plates. Titanium

Lifehealthcare Pty Ltd

LH192	Blackstone Medical Inc Anterior 	Titanium alloy plate L3	56mm - 90mm	$1,800.00

Cervical Plate System

LH386	Blackstone Medical ACP - 3 Level	Titanium Alloy Anterior Cervical Plate - 3 	56mm - 90mm	$1,800.00

Level

LSS Surgical Pty Limited

LS027	MATRIS Cervical Plate System	Cervical Plate 57mm to 80mm	> 55	$1,800.00	$2,700.00

Medtronic Australasia Pty Ltd

MC858	Atlantis Anterior Cervical Plate	Anterior Cervical Plate	57.5mm - 110mm	$1,800.00	$1,870.00

MC859	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy 	57.5mm - 150mm	$1,800.00	$2,000.00

and Nitinol

MC864	Zephir Anteior Cervical Plate	Anterior Cervical Plate	57.5mm - 70mm	$1,800.00	$1,870.00

MC866	Premier Anterior Cervical Plate	Anterior Cervical Plate	57.5mm - 90mm	$1,800.00	$1,870.00

Stryker Australia Pty Ltd

SR084	Reflex Anterior Cervical Plate System	Plate	>55mm	$1,800.00

C - Complex

Synthes Australia Pty Ltd

SY301	TeleFix Spinal System	Rod/Plate construct	40mm to 140mm in length	$2,400.00	$3,168.00

Group 6b - Plate, No Integral Fixation

Austspine Pty Ltd

AJ039	Pyrenees Cervical Plate	1 and 2 level cervical plate	18mm to 54mm	$1,300.00	$1,700.00

B Braun Australia Pty Ltd

BB135	Aesculap Cervical System	Titanium, rigid	Medium 34 - 64mm length	$1,300.00	$1,600.00

BB153	Aesculap Cervical System	Titanium, rigid	Small 20 - 32mm Length	$1,300.00	$1,400.00

BB167	MACS Stabilisation Plates	Titanium, rigid	Length 45 - 100mm	$2,200.00

Prostheses List by Category, Groups and Sponsor	Page 252 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BB248	PACH Plate	Titanium	28 & 32mm	$2,200.00

Global Manufacturing Technology Pty Ltd

GM039	Prima OCT Spinal System	Occiput Plate	One size only	$2,250.00	$2,500.00

Johnson & Johnson Medical Pty Ltd

DP828	Profile Anterior Thoracolumbar Plate 	Plates - Thoracolumbar	50 - 120mm	$2,200.00	$2,490.00

System

DP829	Profile Anterior Thoracolumbar Plate 	Plates - High Thoracic	40 - 110mm 	$2,200.00	$2,490.00

System

DY174	Monarch Spinal System	Bone Plate	½ to 1½ or 2 - 3 or 3½	$2,200.00

DY332	Summit Cervical Rod System	Occipital Plates "Y" or "T"	31-45mm	$2,250.00

JJ694	Mountaineer OCT Spinal System -	Titanium Occipital - Lateral Washer Plate	One size only	$2,250.00

Lateral washer plate

Lifehealthcare Pty Ltd

LH276	Blackstone - Posterior Cervical System	Occipital Anchor	31, 37, 45, 50mm	$925.00

LH431	Signus Anterior Cervical Plate - L1-L2	Pre-contoured titanium plate, secured 	22mm - 54mm	$1,300.00

onto the spinal vertebrae by either fixed

or variable angle colour coded screws.

LSS Surgical Pty Limited

LS028	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System	22mm to 55mm	$1,300.00	$2,700.00

Medtronic Australasia Pty Ltd

MC293	Vertex Spinal System	Occipital Plate	24 - 40 mm length	$2,250.00	$2,843.00

MC403	Colorado Spinal System	Colorado 2 Plate	Range length 20 - 60mm	$1,670.00

MC432	Colorado Spinal System	Sacral Plate 	Left/right	$1,670.00

MC433	Colorado Spinal System	Ilio-Sacral Plate	Left/right	$1,670.00

Prostheses List by Category, Groups and Sponsor	Page 253 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nuvasive Australia and NZ  Pty Ltd

NV027	VuePoint Keel Plate (occipital)	The VuePoint system, of which the 	35/40/45mm	$2,250.00

VuePoint Keel Plate (occipital) is a

component, is intended to promote fusion

of the cervical spine and occipito-

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

NV033	Traverse Plate	The Traverse system, of which the 	Fixed Plate - Size 	$2,200.00

Traverse Plate is a component, is 	15/20/25/30/35/40/45/50/55/60/

indicated for use as an adjunct to fusion 	65/70/80/90mm

via a lateral or anterolateral surgical 	Compression Plate - Size

approach, above the bifurcation of the 	45/50/55/60/65/70/75/80/85/95/

great vessels, in the treatment of thoracic 	105mm

and thoracolumbar (T1-L5) spine

instability, or via the anterior surgical

approach, below the bifurcation of the

great vessels, in the treatment of lumbar

and lumbosacral (L1-S1) spine instability

as a result of fracture (including

dislocation and subluxation), tumour,

degenerative disc disease (defined as back

pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic studies),

scoliosis, kyphosis, lordosis, spinal

Prostheses List by Category, Groups and Sponsor	Page 254 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NV035	XLP Lateral Plate	The XLP system, of which the XLP 	6/8/10/12/14/16mm	$2,200.00

lateral plate is a component, is indicated

for use via a lateral or anterolateral

surgical approach, above the bifurcation

of the great vessels in the treatment of

thoracic and thoracolumbar (T1-L5)

spine instability or via the anterior surgical

approach, below the bifurcation of the

great vessels, in the treatment of lumbar

and lumbosacral (L1-S1) spine instability

as a result of fracture (including

dislocation and subluxation), tumour,

degenerative disc disease (defined as back

pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic studies),

scoliosis, kyphosis, lordosis, spinal

NV038	Halo Plate	The Halo System, of which the Halo Plate	Lumbar Plate (32mm-46mm)	$2,200.00

is a component, is indicated for use via a	Sacral Plate (32mm-46mm)

lateral or anterolateral surgical approach 	2-level Plate (76mm-100mm)

above the bifurcation of the great vessels

in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability or

via the anterior surgical approach, below

the bifurcation of the great vessels in the

treatment of lumbar and lumbosacral (L1-

S1) spine instability as a result of fracture

(including dislocation and subluxation),

tumour, degenerative disc disease

(defined as back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

studies), scoliosis, kyphosis, lordosis,

spinal stenosis, or failed previous spine

Prostheses List by Category, Groups and Sponsor	Page 255 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NV040	Helix Mini Plate	The Helix Mini System, of which the 	20mm-50mm (2mm increments)	$1,300.00

Helix Mini plate is a component, is

intended for anterior screw fixation of the

cervical spine. These implants have been

designed to provide stabilisation as an

adjunct to cervical fusion. Indications for

the use of this implant system include

degenerative disc disease defined as neck

pain of discogenic origin with the

degeneration of the disc confirmed by

history and radiographic studies,

spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or

NV043	Helix Plate	The Helix system, of which the Helix 	20mm-54mm	$1,300.00

plate is a component, is intended for

anterior screw fixation of the cervical

spine.  These implants have been

designed to provide stabilisation as an

adjunct to cervical fusion. Indications for

the use of this implant system include

degenerative disc disease defined as neck

pain of discogenic origin with the

degeneration of the disc confirmed by

history and radiographic studies,

spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or

Orthotech Pty Ltd

OH209	Altius Occipito-Cervico-Thoracic 	TI Occipital Plate	35-45mm, 40-50mm, 45-55mm	$2,250.00	$2,800.00

(OCT) System

OH263	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) 	Plates - width 13mm, Height 	$1,300.00	$2,600.00

fixation screws	4mm - 9mm, width 17mm,

height 4mm - 9mm

Stryker Australia Pty Ltd

SK226	Oasys-Occipito Cervico Thoracic System	Occipital Plate	100 and 130 degree	$2,250.00

SR038	Techtonix	Plate, titanium	22mm-58mm	$1,670.00

Synthes Australia Pty Ltd

SY365	Cervical Spine Locking Plate (CSLP) 	VA Plate	Length 23 - 109mm	$1,300.00	$1,600.00

System

SY380	Axon Occipital Fusion System	Occipital Plate Medial / Lateral, Pure 	50mm / 60mm width, 3 or 4 	$2,250.00

SY455	Cervical Spine Locking Plate (CSLP) 	Plate - Special Manuf.	≤55	$1,300.00	$1,600.00

System

Prostheses List by Category, Groups and Sponsor	Page 256 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY459	Vectra T Anterior Spinal System	Titanium	≤55	$1,300.00	$1,600.00

SY462	Posterior Cervical Plate System	Cervical Spine Reconstruction Plate	≤55	$1,070.00

SY464	Cervical Spine Locking Plate (CSLP) 	VA Plate	≤55	$1,300.00	$2,524.00

System

SY520	Vectra Anterior Spinal System	Cervical Plate	≤55	$1,300.00	$1,600.00

1 - Cervical Plate > 55mm

Austspine Pty Ltd

AJ040	Pyrenees Cervical Plate	3, 4 and 5 level cervical plate	57mm to 110mm	$1,700.00	$1,900.00

B Braun Australia Pty Ltd

BB140	Aesculap Cervical System	Titanium, rigid	Large 67 - 103mm length	$1,700.00	$1,800.00

Lifehealthcare Pty Ltd

LH432	Signus Anterior Cervical Plate - L3-L4	Pre-contoured titanium plate, secured 	56mm - 100mm	$1,700.00

onto the spinal vertebrae by either fixed

or variable angle colour coded screws.

LSS Surgical Pty Limited

LS029	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System	58mm to 82mm	$1,700.00	$2,700.00

Nuvasive Australia and NZ  Pty Ltd

NV042	Helix Plate	The Helix system, of which the Helix 	56mm-90mm	$1,600.00

plate is a component, is intended for

anterior screw fixation of the cervical

spine. These implants have been designed

to provide stabilisation as an adjunct to

cervical fusion. Indications for the use of

this implant system include degenerative

disc disease defined as neck pain of

discogenic origin with the degeneration of

the disc confirmed by history and

radiographic studies, spondylolisthesis,

trauma, spinal stenosis, deformity, tumor,

pseudarthrosis or failed previous fusion.

Synthes Australia Pty Ltd

SY183	Posterior Cervical Plate System	Plate	22-33 holes	$1,070.00

SY454	Cervical Spine Locking Plate (CSLP) 	Plate - Special Manuf.	>55	$1,700.00	$2,000.00

System

SY458	Vectra T Anterior Spinal System	Titanium	>55	$1,700.00	$2,000.00

SY463	Posterior Cervical Plate System	Cervical Spine Reconstruction Plate	>55	$1,470.00	$1,500.00

Prostheses List by Category, Groups and Sponsor	Page 257 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY465	Cervical Spine Locking Plate (CSLP) 	VA Plate	>55	$1,700.00	$2,524.00

System

SY519	Vectra Anterior Spinal System	Cervical Plate	>55	$1,700.00	$2,000.00

2 - Laminoplasty Plates

Medtronic Australasia Pty Ltd

MC299	Centerpiece	TiMesh LP	Open Door (OD) Plate	$750.00

MC309	Centerpiece	TiMesh LP	French Door (FD) Plate	$750.00

MC947	Centrepiece	TiMesh LP	Open Door Graft (GP) Plate	$750.00

MC948	Centrepiece	TiMesh LP	Trough Plate	$750.00

Synthes Australia Pty Ltd

SY335	Arch Fixation System	Pre contoured mini titanium plates	4 to 16mm	$1,070.00

C - Complex

Arthrocare Australasia Pty Ltd

AF029	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: 	19-60mm	$1,870.00

PLCA/TMC Copolymer

C - Complex, 1 - Cervical Plate > 55mm

Arthrocare Australasia Pty Ltd

AF030	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: 	62.5-110mm	$2,270.00

PLCA/TMC Copolymer

Group 7 - Fixation: Rod

Group 7a - Rod, Standard

Austofix

AX059	Capless Li Pedicle screw system - rod	Titanium rod. Straight and pre- bent	Straight and pre- bent, multiple 	$443.00

sizes, 40-300mm

Austspine Pty Ltd

AJ021	Smartloc Spinal Fixation System / 	Fixation Rod for Smartloc Spinal Fixation	40mm - 80mm	$430.00

Fixation Rod	 System

AJ026	Mesa Spinal System / Rod	Straight and contoured 5.5mm diameter 	Straight: 30mm - 500mm and 	$430.00	$1,200.00

Contoured: 35mm - 150mm

AJ036	Caspian OCT Spinal System - Rod	cervico-thoracic posterior rigid fixation 	Diameter: 3.5mm	$443.00

system - Rod	Length: 1.80mm - 240mm

Prostheses List by Category, Groups and Sponsor	Page 258 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB219	S4 Spinal System	S4 Straight Rod - Titanium	30 - 60mm	$443.00	$600.00

BB220	S4 Spinal System	S4 Straight Rod - Titanium	70mm - 180mm	$443.00	$600.00

BB221	S4 Spinal System	S4 Straight Rod - Titanium	200mm - 500mm	$443.00	$750.00

BB222	S4 Spinal System	S4 Pre-bent Rod - Titanium	35mm - 55mm	$443.00	$700.00

BB223	S4 Spinal System	S4 Pre-bent Rod - Titanium	60 - 240mm	$443.00	$725.00

Global Manufacturing Technology Pty Ltd

GM033	Optimal Spinal System	Rod	6 x 40 to 6 x 600mm	$443.00	$450.00

GM061	Maxima/Optima Anterior Cervical Plate 	Rod	30mm - 100mm	$443.00	$450.00

System

GM070	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 50 - 125mm	$443.00

GM071	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 300 - 600mm	$443.00	$560.00

Johnson & Johnson Medical Pty Ltd

DP315	Moss Miami (Stainless Steel)	Pre-Cut Rod	5mm x 30 - 90mm	$443.00

DP394	Moss Miami (Titanium)	Pre-Cut Rod	5.5mm x 30 - 90mm	$443.00

DP400	Moss Miami (Titanium)	Rod - Standard	5.5mm x 12 - 48cm	$443.00	$548.00

DP452	Kaneda SR (Smooth Rod)  Anterior  (TI)	Pre Cut Rod	1/4" x 45 - 150mm	$443.00

DP461	Isola System (Titanium)	Spinal Rod	1/4" & 3/16" x 18" & 24"	$443.00

DP476	Isola System (Stainless Steel)	Eye Rod	1/4" & 3/16" x 18" - 24"	$443.00	$698.00

DP477	Isola System (Stainless Steel)	Spinal Rod Standard	1/4" & 3/16" x 18" & 24"	$443.00

DP488	Isola Paediatric System (Stainless Steel)	Pre-Bent Rod	3/16 "	$443.00

DP494	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	$443.00

DP505	Anterior Isola System (SS)	Rod with Hex End	1/4" x 18"	$443.00

DP846	Moss Miami 4mm Anterior System (SS)	Rods	4.0mm x 30 - 48cm	$443.00	$548.00

DY182	Monarch Spinal System	Rods	6.35 & 5.5mm x 450mm	$443.00

DY310	Frontier Anterior Scoliosis System 	Spinal Rod	4.75 x 200-450mm	$443.00	$828.00

(Titanium)

DY313	Monarch Spinal System	Rods - Pre Cut/Lordosed	6.35 & 5.5mm x 45 - 95mm	$443.00

DY318	Isola System (Stainless Steel)	Pre-Cut Rod	3/16" x 35 - 90mm	$443.00

DY343	Summit Cervical Rod System	Rod	3mm x 70-200mm	$443.00

DY435	Expedium Spine System	Rod	4.5 - 7.5mm Diameter x 12 - 	$443.00

Prostheses List by Category, Groups and Sponsor	Page 259 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY436	Expedium Spine System	Rod - Pre - lordosed or straight	5.5 - 6.35mm diameter x 35-	$443.00

JJ596	Mountaineer OCT Spinal System	CT Dual Diameter Rod	3.5 - 4.75mm x 420 - 600 mm, 	$443.00

3.5 - 5.5mm x 420 - 600mm,

3.5 - 6.35mm x 420 - 600mm

JJ597	Mountaineer OCT Spinal System	CT Rod	3.5mm x 60 - 200mm	$443.00

JJ644	Extra long rod - Expendium Anterior 	Rod - Titanium	5.5mm x 450mm	$443.00

Spine System

JJ648	Pre-cut rod - Expedium Anterior Spine 	Rod - Titanium	Diameter 5.5mm x lengths 45-	$443.00

System	150mm

JJ671	Viper2 Spinal System	Straight, Kyphosed and Lordosed Rods	30-480mm	$430.00	$672.40

JJ693	Mountaineer OCT Spinal System - Pre-	Pre-bent Titanium Rod	3.5 x 200 - 85mm or 3.5 x 120 -	$430.00

bent Rod	 85 mm

JJ760	Moss Miami (Titanium)	Swedge Rod	One Size	$443.00	$1,050.00

JJ764	Moss Miami (Stainless Steel)	Swedge Rod	One Size	$443.00	$612.00

JJ809	Viper 2 Spine System - Cobalt Chrome 	Cobalt Chrome Rod	100-600mm	$443.00	$900.00

Lifehealthcare Pty Ltd

LH241	Spinal Fixation System	Rod - Titanium	40mm to 100mm in 10mm 	$443.00

increments

LH242	Spinal Fixation System	Rod - Titanium	110 to 450mm (110, 120, 140, 	$443.00

160, 180, 200, 450mm)

LH277	Blackstone - Posterior Cervical System	Occipital Rod	One size only	$443.00

LH279	Blackstone - Posterior Cervical System	Rods - Titanium	3.0mmx70, 120, 200mm	$443.00

LH360	Spinal Fixation System	Pre Lordosed Rods	40mm to 100mm in 10mm 	$443.00

increments

LSS Surgical Pty Limited

LS004	Solas Spinal System	Rod	40 - 400mm	$443.00

LS022	SOCORE Spinal System - Standard and 	Standard and Pre-Bent Rod	Diameter 5.5mm 40mm to 	$443.00

Pre-Bent Rod	500mm Length.

Medtronic Australasia Pty Ltd

MC295	Vertex Spinal System	Pre - curved rod	150 - 300 mm length	$443.00	$710.00

MC382	Colorado Spinal System	Colorado 2 Rod	5.0mm and 5.5mm, length range	$443.00

50 - 600mm

MC396	TSRH Spinal Implant System	3D - Rod	Diam 4.75 - 6.35mm, Length 	$443.00

25mm - 80cm

Prostheses List by Category, Groups and Sponsor	Page 260 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC404	CD Horizon	Rod	40mm to 600mm	$443.00

MC440	CD Horizon	Eclipse:  4.5mm Rod	40 - 600mm	$443.00

MC497	Tenor	Rod (5.5mm) - Titanium 	40 - 240mm	$443.00

MC544	Vertex Spinal System	Rod	80 - 240mm	$443.00	$520.00

MC587	CD Horizon Spinal System	Percutaneous Rod	5.5 x 25mm to 5.5 x 350mm	$443.00	$834.00

Nuvasive Australia and NZ  Pty Ltd

NV018	System: SpheRX. Component: Rods - 	Rods - Dual/Pre Bent Ball	17.5 - 500mm	$443.00

Dual/Pre Bent Ball

NV025	VuePoint rod	The VuePoint system, of which the rod is	60mm x 3.5mm, 120mm x 	$443.00

a component, is intended to promote 	3.5mm, 240mm x 3.5mm

fusion of the cervical spine and occipito-

thoracic junction (occiput-T3) and is

indicated for degenerative disc disease (as

defined by back pain of discogenic origin

with degeneration of the disc confirmed

by patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

NV028	VuePoint rod (pre-bent)	The VuePoint system, of which the 	240mm	$443.00

VuePoint pre-bent rod is a component, is

intended to promote fusion of the cervical

spine and occipito-thoracic junction

(occiput-T3) and is indicated for

degenerative disc disease (as defined by

back pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Orthotech Pty Ltd

OH033	Synergy/Polaris Spinal System	Rods	5cm - 14cm	$443.00	$650.00

OH034	Synergy/Polaris Spinal System	Rods	30 - 60cm	$443.00	$850.00

OH194	Array Spinal System	Titanium Alloy Modular Spinal System - 	5.5mm x 510mm	$443.00	$900.00

Alloy rod

Prostheses List by Category, Groups and Sponsor	Page 261 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

OH195	Array/Ballista Spinal System	Titanium Alloy Modular Spinal System - 	5.5mm x 30 - 100mm	$443.00	$850.00

Pre-Bent Rod

OH311	Cosmic implant system	Cosmic Rod (40,50,60,70,80mm) - 	diameter - 6.25mm, length - 	$443.00	$780.00

40mmdiameter - 6.25mm,

length - 50mmdiameter -

6.25mm, length - 60mm

diameter - 6.25mm, length -

70mmdiameter - 6.25mm,

length - 80mm

OH312	Cosmic implant system	Cosmic Rod (100, 120, 200mm)- 	diameter - 6.25mm, length - 	$443.00	$780.00

100mmdiameter - 6.25mm,

length - 120mmdiameter -

6.25mm, length - 200mm

diameter - 6.25mm, length -

70mmdiameter - 6.25mm,

length - 80mm

OH352	Novel Rods	Rod	5.5, 6.0, 6.5	$430.00

Scient'x Australia

SX003	Isobar TTL	Rod	L: 45-450mm	$443.00

Stryker Australia Pty Ltd

SK224	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	3.5mm Rod (Length 80mm); 	$443.00

3.5mm Rod (Length 120mm);

3.5mm Rod (Length 240mm)

Surgical House

SU228	Olerud Cervical System, Rods	Titanium alloy, Curved and Straigth	40mm - 120mm	$443.00

Synthes Australia Pty Ltd

SY143	Universal Spine System (USS)	Rods	Length 40 - 500mm	$443.00	$900.00

SY444	CerviFix Posterior Cervical System	Rod: Straight or pre bent	3.5mm diameter, 120-250mm 	$443.00	$900.00

length

Zimmer Pty Ltd

ZI481	Silhouette Spinal System Implants	Rod	5.5 dia x 10cm, 20cm and 47cm	$443.00

length

ZI624	SEQUOIA PEDICLE SCREW SYSTEM	Sequoia Rod CP Ti	30mm - 510mm length	$443.00

ZI639	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 50 - 125mm	$443.00

ZI640	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 300 - 600mm	$443.00	$560.00

Prostheses List by Category, Groups and Sponsor	Page 262 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI700	Java screw system	Precontoured rod	Rod length 	$443.00	$735.00

30/40/50/60/70/80/90/100

ZI703	Java screw system	Straight rods	Rod length 	$443.00	$750.00

30/40/50/60/70/80/90/100

1 - Dual Diameter

Johnson & Johnson Medical Pty Ltd

DY334	Summit Cervical Rod System	Transition Rod	3.0/4.0/3.0mm	$550.00

DY335	Summit Cervical Rod System	Dual Diameter Rod	3x150mm/4.75 - 5.5mm x 270mm	$550.00

Nuvasive Australia and NZ  Pty Ltd

NV026	VuePoint rod (transition)	The VuePoint system, of which the 	3.5mm to 5.5mm	$443.00

VuePoint transition rod is a component, is

intended to promote fusion of the

cervical spine and occipito-thoracic

junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by

back pain of discogenic origin with

degeneration of the disc confirmed by

patient history and radiographic

impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous

cervical spine surgery.

Synthes Australia Pty Ltd

SY446	CerviFix Posterior Cervical System	Rod: Tapered	3.5/5.0 - 3.5/6.0 dual diameter, 	$550.00	$900.00

300 -500mm

2 - Shaped

Stryker Australia Pty Ltd

HW389	XIA Spine System	Rod - Titanium alloy, Stainless Steel	30 - 600mm	$600.00

Synthes Australia Pty Ltd

SY385	Speciality Rods	Scoliosis / J/S Rod, Precontoured, 	5mm, 6mm diameter. Left / 	$600.00	$1,123.00

Titanium / Stainless Steel	Right50mm - 500mm length

2 - Shaped, C - Complex

Medtronic Australasia Pty Ltd

MC505	Orfil	L-Shaped Rods	5-510mm	$600.00

Prostheses List by Category, Groups and Sponsor	Page 263 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

C - Complex

Johnson & Johnson Medical Pty Ltd

DP485	Isola System (Stainless Steel)	Dual Diameter Rod	3/16" to 1/4" x 18 - 24"	$443.00

DY105	Isola System (Titanium)	Eye Rod	1/4" x 18"	$443.00	$698.00

Group 7b - Rod, Telescoping

Lifehealthcare Pty Ltd

LH457	DSS Fusion Coupler	The DSS Fusion Coupler is a telescoping 	20mm - 22mm	$1,350.00

coupler that rigidly joins the DSS pedicle 	22mm - 25mm

screws.	25mm - 31mm

31mm - 43mm

Orthotech Pty Ltd

OH058	Synergy Spinal System	Growth Rod	30 - 60cm	$1,350.00	$1,600.00

Group 7c - Rod, Threaded

Surgical House

SU074	Olerud spinal system: Threaded rod 	Hook/screw & rod spinal system 	35mm - 180mm x 7mm	$520.00

Group 7d - Rod, Dual Unit

Medtronic Australasia Pty Ltd

MC537	Danek Unit Rod System	Scoliosis Rods	Widths 3/16", 5.5mm or 	$1,460.00

6.35mm; lengths 25 x 45cm

MC707	Danek Unit Rod System	Scoliosis S-Rods	Widths 5.5 - 6.35mm; left and 	$1,460.00

Orthotech Pty Ltd

OH264	Hartshill: Ransford	Occipito-cervical - Titanium loop	100 degree 9mm - 20mm	$2,250.00

OH265	Hartshill: Ransford	Extra long cross linked - titanium loop	100 degree 45cm x 15mm	$2,250.00

OH266	Hartshill Rectangle	Stainless steel posterior lumbar fusion 	5mm diam 3-5cm length	$1,460.00

OH270	Hartshill Rectangle	Stainless steel posterior 	6mm diam 15 - 19cm length	$1,460.00	$1,710.00

thoracic/thoracolumbar fusion system

Surgical House

SU089	Occiput rod 120mm	Hook/screw & rod spinal system 	3.5mm diam	$2,250.00

Prostheses List by Category, Groups and Sponsor	Page 264 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY384	Speciality Rods	Unit Rod, Titanium / Stainless Steel	5mm, 6mm diameter	$1,460.00

250mm - 500mm length

Group 8 - Fixation: Plate-Rod

Global Orthopaedic Technology

GO104	OctaFix	Occipital Cervical Plating System	Occipital Plate	$3,020.00

Synthes Australia Pty Ltd

SY445	CerviFix Posterior Cervical System	Occipital Plate Rod	one size	$3,020.00

Zimmer Pty Ltd

ZI683	OctaFix	Occipital Cervical Plating System	Occipital Plate	$3,020.00

Group 8 - Plate-Rod

Medtronic Australasia Pty Ltd

MC509	CD Occipital-Cervical  Loop	CD Occipital-Cervical  Loop	One size only	$3,020.00

MC543	Vertex Spinal System	Plate/rod	80 - 240mm	$3,020.00

Synthes Australia Pty Ltd

SY184	Posterior Cervical Plate System	Plate - rod	Special Manufacture - One size 	$3,020.00

Group 9 - Fixation: Washer/Staple

Group 9a - Washer

Global Manufacturing Technology Pty Ltd

GM067	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard	$235.00	$268.00

Johnson & Johnson Medical Pty Ltd

DP049	VSP System (Titanium)	Washers - Standard / Tapered	3 & 5mm	$235.00

DP416	Moss Miami (Titanium)	Washers - Slotted / Angled	One Size Only	$235.00

DP430	Moss Miami (Stainless Steel)	Washers - slotted, angled	Slotted/Angled or 3-5mm	$235.00

DY127	VSP System (Stainless Steel)	Washers - Standard / Tapered	$235.00

DY176	Monarch Spinal System	Washer	One size only	$235.00

Prostheses List by Category, Groups and Sponsor	Page 265 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ649	Washer & Single Hole Staple - 	Washer and Single Hole Staple - Titanium	One size only	$235.00

Expedium Anterior Spine System

JJ758	Anterior Isola System	Washer	One Size only	$235.00	$357.00

JJ768	Frontier Anterior Scoliosis System	Washer	One size only	$235.00	$686.00

JJ770	Expedium Spine System	Washer	Various	$235.00	$408.00

Lifehealthcare Pty Ltd

LH267	Blackstone - Fixed System Washer	Titanium	One Size Only	$235.00

LH268	Blackstone - Washer	Titanium	2/4/6mm	$235.00

LH269	Blackstone - Spacer	Titanium	3/5mm	$235.00

LH451	DSS Spacer	The DSS Spacer is an integral component	One size only	$235.00

of the DSS pedicle screw construct. It is

used on the mono-axial DSS screw and

is used each time a screw is placed. It

can not be used on its own.

LH453	DSS Washer	The DSS Washer is a washer that is an 	One size only	$235.00

integral part of the DSS construct. The

DSS construct can  not be used without

the washer nor can the washer be used as

a separate implant.

Nuvasive Australia and NZ  Pty Ltd

NV006	Triad Facet Screw	Washer	One size	$235.00

Synthes Australia Pty Ltd

SY150	Universal Spine System (USS)	Washers	Pointed, Flat, 4.2 - 7mm	$235.00	$408.00

Zimmer Pty Ltd

ZI636	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard	$235.00	$268.00

Group 9b - Staple

Johnson & Johnson Medical Pty Ltd

DP581	Kaneda Anterior Scoliosis System  S/S	Staple Single or Double Hole	Small - Large	$410.00

JJ643	Dual Hole Staple - Expendium Anterior 	Dual Hole Staple - Titanium	Small to Xlarge - 4 sizes	$410.00

Spine System

JJ759	Anterior Isola System	Single hole staple	16 - 22mm	$410.00

JJ769	Frontier Anterior Scoliosis System	Staple	Single and dual hole	$410.00	$686.00

Prostheses List by Category, Groups and Sponsor	Page 266 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ771	Expedium Spine System	Staple	Various	$410.00

Lifehealthcare Pty Ltd

LH271	Blackstone - Staple	Titanium	2/4/6mm	$410.00

Medtronic Australasia Pty Ltd

MC412	Cornerstone SRC Cage	Staple, Carbon composite	.	$410.00

MC431	Colorado Spinal System	Staple	One size only	$410.00

MC437	CD-Horizon	Staples	10 - 30mm	$410.00

MC614	Vantage	Vantage Plates and Screws; Staple 	One Size Only	$410.00	$1,150.00

(rostral/caudal)

Orthotech Pty Ltd

OH046	Synergy Spinal System	Washers Single/Double	16mm - 21mm	$410.00	$1,100.00

Stryker Australia Pty Ltd

SK242	Xia Spinal System	Titanium or Stainless Steel	Single Hole Staple; Dual Hole 	$410.00

Staples (Caudal/Rostral) - Small,

Medium, Large

C - Complex

Medtronic Australasia Pty Ltd

MC592	CD Horizon System	SMA Staple	Length 4-10mm	$1,240.00	$1,421.00

MC593	CD Horizon System	SMA Staple	Length 12-18mm	$1,595.00

Leads, Dorsal Column, Implantable

Percutaneous, Quadripolar

Medtronic Australasia Pty Ltd

MC827	Medtronic Pisces Quad Leads	Pisces Quad Lead (3487A), Pisces Quad 	Various	$3,400.00	When used in pain therapy - to

Compact Lead (3887), Pisces Quad Plus 	be funded when the patient has

Lead (3888)	undergone a multi-disciplinary

assessment and trial of

Peripheral

Medtronic Australasia Pty Ltd

MC829	Medtronic On Point Lead	On point peripheral nerve lead kit (3987A)	25cm	$3,400.00	When used in pain therapy - to

be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

Prostheses List by Category, Groups and Sponsor	Page 267 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Quadripolar, Surgical

Medtronic Australasia Pty Ltd

MC828	Medtronic Resume Surgical Leads	Surgical Leads - Resume II (3587A), 	25cm	$3,400.00	When used in pain therapy - to

Resume TL (3986A)	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

Mesh, surgical

LMT Surgical Pty Ltd

LM084	Polyganics Flexiglide	A bioresorbable co polyester sheet.  The 	2cm x 3cm to 13cm x 20cm	$1,300.00	$1,400.00

product is designed to maintain its

integrity to support soft tissue

Plugs

Medtronic Australasia Pty Ltd

MC824	Medtronic Neurostimulation Accessory 	Screening Cable (3550-03), Synergy IPG 	N/A	$168.00	When used in pain therapy - to

Connector Plug (3550-09), Tunnelling 	be funded when the patient has

Tools (3555, 3550-06), EZ  Anchor 	undergone a multi-disciplinary

(3550-16), Boot and Anchor Kit (3550-24)	assessment and trial of

MC825	Medtronic Percutaneous Quad extension	Percutaneous extension (in line connector	One size only	$168.00	When used in pain therapy - to

for quadripolar leads only)	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

MC826	Medtronic Accessory Kit for Deep Brain	Boots accessory kit for DBS (3550-25)	N/A	$168.00	When used in pain therapy - to

Stimulation	be funded when the patient has

undergone a multi-disciplinary

assessment and trial of

Prosthesis, internal, stent, vascular

N Stenning  & Co Pty  Ltd

NG051	MicroPLex Coil System, Compass 	The compass (MicroPlex Coil System) is 	Compass 18 Complex - D 4 	$1,200.00

Complex Coil	a 3 dimensional platinum coil.	(mm) L 9 (cm) - D 20 (mm) L

Prostheses List by Category, Groups and Sponsor	Page 268 of 865

NEUROSURGICAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NG052	MicroPlex Coil System, Hydrosoft	HydroSoft is a hydrogel-based platimum 	Loop D. 2(mm) & L 1(cm) - D 	$1,200.00	$1,850.00

coil with an inner hydrogel core.	6 (mm) & L 8 (cm)

NG053	Leo Plus Self-Expanding Intracranial 	The Leo Plus is a Self-Expanding 	D 2.5 L 12 mm, 18 mm, 25 	$6,558.00	$7,345.00

Intracranial Stent constructed from 	mm. D 3.5 L 12 mm, 18 mm,

braided Nitinol wire. The Leo Plus is pre 	25 mm, 35 mm, D 4.5 L 15

loaded onto its on quidewire an introducer.	mm, 20 mm, 25 mm, 30 mm,

40 mm, 50 mm. D 5.5 L 25

mm, 30 mm, 35 mm, 50 mm,

Resinous Compounds, Cranial

Johnson & Johnson Medical Pty Ltd

JJ303	Cranioplastic Kit (Type 1)	Cranioplastic kit containing 2 complete 	30grams	$240.00

sets.  Consists of 2 bags of sterile

powder, 2 vials sterile liquid, 2 sterile

Stimulators, Electrical, Brain

St. Jude Medical Australia Pty Ltd

SJ148	Libra Deep Brain Stimulation System  - 	DBS Leads 6142-6145 1.5mm electrode 	25-40cm	$4,150.00

Leads 6142 - 6149	and space 1.5mm; 6146-6149 1.5mm

electrode and 0.5mm space

SJ149	Libra Deep Brain Stimulation System - 	4 Channel DBS Lead Extension	50-60cm	$2,000.00

Lead Extensions 6345 and 6346

Vascular Reconstruction Device and Deliver - Stent, vascular,

Johnson & Johnson Medical Pty Ltd

JJ650	Cordis Enterprise Vascular 	Closed Cell Design Nitinol Neurovascular	4.5 mm in diameter and 4 	$7,500.00

Reconstruction Device and Delivery 	different lengths:  14mm,

22mm, 28mm and 37mm

Prostheses List by Category, Groups and Sponsor	Page 269 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 10: Intracorneal Rings

Emagin Pty Ltd

EG004	Intracorneal Rings	PMMA	Thickness 0.210mm - 150 	$1,188.00

degrees Arc Length; Thickness

0.250mm - 150 degrees Arc

Length; Thickness 0.275mm -

150 degrees Arc Length;

Thickness 0.300mm - 150

degrees Arc Length; Thickness

0.325mm - 150 degrees Arc

Length; Thickness 0.350mm -

150 degrees Arc Length;

Thickness 0.400mm - 150

degrees Arc Length; Thickness

0.450mm - 150 degrees Arc

EG011	Intracorneal rings	Intracorneal rings	Arc Length 90-210, thickness 	$945.00	$1,188.00

0.1 to 0.35mm

Spectrum Surgical

SO038	Keraring	Intracorneal rings, PMMA	Arc length: 90 to 160 degrees, 	$635.00

Thickness 0.1 to 0.35mm

SO039	Keraring	Intracorneal rings, PMMA	Arc length:210, thickness: 0.1 to	$945.00

0.35mm

Group 12: Glaucoma Drainage

Device Technologies Australia Pty Ltd

DE279	ExPress Minature Glaucoma Shunt	Miniature Glaucoma Shunt	50 & 200 microns	$715.00	$1,200.00

Group 12a: Glaucoma drainage: Long tube

Advanced Medical Optics Australia Pty Ltd

AO012	Baerveldt Glaucoma Implant BG 101-	Non-valved artificial drainage device, 	Surface area 250, 350, 425mm2	$600.00

350, Baerveldt Glaucoma Implant BG 	composition silicone - smooth, tumble-

103-425, Baerveldt Glaucoma Implant 	polished finish

Prostheses List by Category, Groups and Sponsor	Page 270 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Design for Vision Pty Ltd

DV020	Molteno Implant	Double plate - dual chamber	One size only	$425.00

DV242	Molteno Implant	Glaucoma Drainage Device - Single 	N/A	$425.00

Plate/Single Plate-Dual Chamber/Double

P

Design for Vision Pty Ltd

DV230	Molteno 3	Drainage implant for glaucoma, made of 	2 Sizes: *230 mm square 	$600.00	$715.00

silicon	*175mm square

Group 12c: Glaucoma drainage: Short tube - non-cannulated

Carl Zeiss Pty Ltd

CZ001	T.Flux: Non-Absorbable Galucoma 	-	One size only	$425.00	$945.00

Group 13: Eyelid Prostheses

Group 13a: Eyelid spacers

vp

Spectrum Surgical

SO017	FCI Ptose-up	Expanded PTFE	15cm long x 2 or 3mm wide x 	$348.00

0.35mm thick

Group 13b: Eyelid weights

GLD

Design for Vision Pty Ltd

DV007	Gold Eyelid Load 	Large Range	1.8g, 2.0g, 2.2g, 2.4g, 2.6g, 	$800.00	$900.00

DV245	Meddev Gold Eyelid Loads	Small Range - Standard and Thin Profile	0.6G to 1.6G in 0.4G steps	$425.00

Device Technologies Australia Pty Ltd

DE182	Lid Load Gold Eyelid Weights;	Gold	1.8, 2.0, 2.2, 2.4, 2.6, 2.8 grams	$800.00	$1,200.00

DE183	Lid Load Gold Eyelid Weights;	Gold	0.6, 0.8, 1.0, 1.2, 1.4, 1.6 grams	$425.00	$650.00

PLA

BR & CT Enterprises Pty Ltd

BC005	LIDCHAIN Platinum Eyelid Implant	Platinum	Weights - 0.8, 1.0, 1.2, 1.4, 1.6,	$1,300.00

1.8 grams

Prostheses List by Category, Groups and Sponsor	Page 271 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 14: Lacrimal Duct Drainage Prostheses

Group 14a: Lacrimal duct drainage prostheses: Intracanalicular

Design for Vision Pty Ltd

DV022	Eyetec DCR Tubes	Stainless steel, silicone tubing, Bodkin 	30cm	$56.00

lacrimal intubation set

DV241	Eyetec DCR Tubes	Crawford and Cannaliculus Intubation Sets	N/A	$135.00

Device Technologies Australia Pty Ltd

DE191	Canaliculus Intubation Sets 	Silicone, SS & Nylon	17.7 x .064 x 29cm, 15.5 x .051	$135.00	$175.00

x 33cm

DE278	BD Visitec Lacrimal Intubation Sets	Stainless steel probes with solid silicone 	1. Probes 0.90mm x 4.5cm, rod	$135.00

rods or silicone tubing - packaged sterile	 40cm x 0.80mm. 2. Probes

0.40mm x 11cm, tubing 35cm x

0.64mm. Probes 0.60mm x

11mm, tubing 35cm x 0.30mm.

Prostheses List by Category, Groups and Sponsor	Page 272 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Spectrum Surgical

SO020	FCI Lacrimal Intubation Set	Silicone Tubing/Silicone Plug/Metal 	Bika: 0.64mm O.D. Tube/80 x 	$180.00	$207.00

Probes/Polypropylene Thread	0.8mm probes, Bika 1.18:

1.18mm O.D. Tube/40 x 1.2mm

probes, Bika for DCR: 0.94mm

O.D. Tube/50 x 0.8mm probes,

Infant Bika 0.64mm O.D.

Tube/55 x 0.7mm probes, Infant

Bika II: 0.64mm O.D. Tube/60

x 0.8mm probes, Besancon-

Nancy Probe: 0.64mm O.D.

Tube/80 x 0.8mm probes,

Crawford Probe: 0.64mm O.D.

Tube/0.7mm thick probes, FCI

2 Probe: 0.64mm O.D. Tube/80

x 0.8mm probes, Ptosis Probe:

Tube/80 x 0.8mm probes, Mini

Monoka: 0.64 x 40mm

Tube/2mm Plug, Perforated

Mini Monoka: 0.64 x 40mm

Tube/2mm, Perforated Plug,

Medium Collarette Monoka,

Wide Collarette Monoka:

0.64mm O.D. Tube/80 x 0.8mm

probes/4mm Plug, Wide

Collarette Monoka for Infants:

0.64mm O.D. Tube/60 x 0.8mm

probes/4mm Plug, Ritleng

Lacrimal Intubation Set: 0.64mm

O.D. Tube/ Polypropylene

thread, Self-Threading Monoka

Ritleng Type: 0.64mm O.D.

Tube/Polypropylene thread/4mm

Plug, Medium Collarette Self-

Threading Monoka Ritleng

Type; Crawford Monoka:

0.64mm O.D. tube/0.7mm thick

Prostheses List by Category, Groups and Sponsor	Page 273 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SO021	FCI Lacrimal Intubation Set	PVP Coated Silicone Tubing/PVP Coated 	PVP Bika: 0.64mm O.D. 	$180.00	$265.00

Silicone Plug/Metal Probes/Polypropylene	Tube/80 x 0.8mm probes, PVP

Thread	Differential Bika: 0.64 &

1.18mm O.D. Tube/40 x 1.2mm

probes, PVP Bika for DCR:

0.94mm O.D. Tube/50 x 0.8mm

probes, PVP Infant Bika

0.64mm O.D. Tube/55 x 0.7mm

probes, PVP Infant Bika II:

0.64mm O.D. Tube/60 x 0.8mm

probes, PVP Besancon-Nancy

Probe: 0.64mm O.D. Tube/80 x

0.8mm probes, PVP Ritleng

Lacrimal Intubation Set: 0.64mm

O.D. Tube/Polypropylene

thread, PVP Mini Monoka: 0.64

x 40mm Tube/2mm Plug, Wide

Collarette PVP Monoka: 0.64mm

O.D. Tube/80 x 0.8mm

probes/4mm Plug, Self-

Threading PVP Monoka Ritleng

Type: 0.64mm O.D., Tube/

Polypropylene thread/4mm Plug,

PVP Metaireau Tube Oval

Collar: 40mm Tube/4mm Plug,

PVP Metaireau Tube Round

Collar: 40mm Tube/4mm Plug,

Lacosystem: Tube

/Probe/Polypropylene thread;

Self retaining bicanaliculus stent

with dilator: silicone tubes of

Group 14b: Lacrimal duct drainage prostheses: Extracanalicular

Device Technologies Australia Pty Ltd

DE177	Lester Jones Tear Duct Tubes	Glass	3 x 9 to 16mm, 3.5 x 9 to 	$84.00

18mm, 4.0 x 9 to 24mm, 5.0 x

Prostheses List by Category, Groups and Sponsor	Page 274 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 15: Orbital Prostheses

Group 15a: Orbital prostheses: Intrascleral

Device Technologies Australia Pty Ltd

DE188	Acrylic Implant	Acrylic	12, 14, 16, 18, 20mm.	$55.00

DE202	John Weiss Glass Mule Globes	Glass	No: 12, 14, 16, 18, 20mm	$55.00	$65.00

vp

Spectrum Surgical

SO006	FCI Orbital Implants	Orbital Implant, Bioceramic (Aluminium 	Bioceramic diameter, 12, 14, 16,	$1,200.00

Oxide)/Hydroxyapatite (Synthetic)	 18, 20, 21, 22mm; Synthetic

Diameter, 10, 12, 14, 16, 18,

20, 22mm

Group 15c: Orbital prostheses: Extrascleral - Complex and permeable

vp

Medical Vision Australia Pty Ltd

MF034	Sphere	Orbital Sphere Models 6316, 6326, 6327, 	Orbital Sphere Models 6316: 	$785.00

6317 and 6322 8702-8704. COI implant, 	14mm, 6326: 16mm, 6327:

models 7222, 7223 & 80026. MCOI 	18mm, 6317: 20mm, 6322:

implant, models 7207 - 7209 Quad 	22mm, 8702: 19mm, 8703:

Motility Implants 9866 - 9868 & 80022	21mm, 8704: 23mm, COI

Implants 7222: Approx 4ml,

7223: Approx 5ml, 80026:

Approx 6ml, MCOI 7207:

Approx 3ml, 7208: Approx

4.2ml,  7209: Approx 5.6ml,

vp, ha

Spectrum Surgical

SO007	FCI Orbital Implants	Mesh wrapped orbital implant: mesh 	Bioceramic diameter: 16, 18, 20,	$1,600.00

wrapped bioceramic (aluminium oxide), 	 22mm; Synthetic

mesh wrapped hydroxyapatite 	Hydroxyapatite diameter: 16, 18,

(synthetic), mesh wrap (polyglycolic

Group 15d: Orbital prostheses: Extrascleral - Multi component

ha, ti

Spectrum Surgical

SO019	FCI Orbital Implants	Peg & Sleeve	Standard Large	$750.00	$863.00

Prostheses List by Category, Groups and Sponsor	Page 275 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 15e: Orbital prostheses: Fascial - Solid and permeableplate implants

Device Technologies Australia Pty Ltd

DE277	Frontalis Suspension Set	Stainless steel needles with solid silicone 	needles 0.90mm x 6.5cm, rod 	$315.00

rods and silicone tubing - packaged sterile	40cm - 0.80mm, sleeve 10 x 2mm

Prostheses List by Category, Groups and Sponsor	Page 276 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 16:  Retinal Detachment Prostheses

Group 16a: Retinal Detachment - Buckles, bands, sponges and tyres

Austmed Pty Limited

AP002	Mira: Scleral Implants	Silicone Sponge- Retinal Implant Used in 	Sponge- Mira 502 Cylinder 	$90.00	$120.00

Scleral Buckling (Silicone Elastomer 	2mm, Mira 5025 Cylinder

2.5mm, Mira 503 Cylinder

3mm, Mira 504 Cylinder 4mm,

Mira 505 Cylinder 5mm, Mira

505G Grooved cylinder 5mm,

Mira 505T Packer tunnel

cylinder 5mm, Mira 510 Half

cylinder 5mm, Mira 515 Brucker

two-thirds cylinder 5mm, Mira

501 Masciulli oval 2.5mm by

4mm, Mira 506 Vaiser oval

3mm by 5mm, Mira 506G

Vaiser grooved oval 3mm by

5mm, Mira 507 oval 5.5mm by

7.5mm, Mira 507G Grooved

oval 5.5mm by 7.5mm, Mira

507T Packer tunnel oval 5.5mm

by 7.5mm, Mira 511 Half oval

7.5mm, Mira 517 Brucker two-

thirds oval 7.5mm, Mira 509

Fuller flat oval 3.5mm by

7.5mm, Mira 509G Fuller

grooved flat oval 3.5mm by

7.5mm, Mira 518 Frederick

grooved flat oval 2.5mm by

12mm, Mira 508 Frederick flat

oval 4mm by 12mm, Mira 508G

Frederick grooved flat oval

4mm by 12mm, Mira 513

Snyder 3+ meridional 7mm by

4mm, Mira 514 Snyder 4+

meridional 8mm by 5mm, Mira

Prostheses List by Category, Groups and Sponsor	Page 277 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AP003	Mira: Scleral Implants	Solid Silicone-	Tires-Mira 286 Wendel 	$45.00

Tire/Meridional/Wedge/Pad. Retinal 	Symmetrical Oval Tire 6mm,

Implant used in Scleral Buckling 	Mira Symmetrical Oval Tire

7mm, Mira 287WG Murray

wide (3.5mm) grooved

symmetrical tire, 10mm wide,

Mira 288 ross symmetrical

grooved tire, low profile 10mm

wide by 2.5mm, Mira 289

Symmetrical oval tire 10mm,

Mira 277Symmetrical tire 7mm,

Mira 279 Symmetrical tire 9mm,

Mira 78G Grooved symmetrical

tire 10mm, Mira 281

Symmetrical tire 12.5mm, Mira

275 Munsen Asymmetrical tire

6mm, Mira 276 Asymmetrical

tire 7mm, Mira 278 Brockhurst

asymmetrical tire 8.5mm, Mira

280LG Large grooved

asymmetrical tire 10mm, Mira

77G Grooved hemisphere

26mm. Meridional- Mira 106

Meridional Implant 6mm by

10.5mm, Mira 112 Curved

Meridional implant 12mm by

12mm, Mira 103 Meridional

implant 4mm by 15mm. Wedge-

Mira 135 Pruett maxi wedge

14mm, Mira Pruett midi wedge

12mm, Mira 190 Spencer sub-

implant 5mm by 10mm. Pad-

Mira 80 Pad 4mm by 8mm,

AP004	Mira: Scleral Implants	Solid Silicone-Sleeve. Retinal Implant 	Sleeves-Mira 70 Sleeve 1mm 	$45.00

used in Scleral Buckling 	I.D., Mira 71 Sleeve 1mm I.D.,

(Dimethylmethylvinyl Siloxane Copolymer)	Mira 72 McNutt Sleeve 1.57mm

I.D., Mira 270 Sleeve 0.76mm

Prostheses List by Category, Groups and Sponsor	Page 278 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AP006	Mira: Scleral Implants	Solid Silicone-Band/Strip/Boat/Clip. 	Bands-Mira 40 Circling Band 	$40.00

Retinal Implant used in Scleral Buckling 	2mm, Mira 240 Circling Band

(Dimethylmethylvinyl Siloxane Copolymer)	2.5mm. Strips-Mira 41 Strip

3.5mm, Mira 42 Strip 4mm,

Mira 20 Strip 4mm, Mira 219

Strip 4.5mm, Mira 31 Strip

4.5mm, Mira 32 Strip 5mm,

Mira 225 Oval Strip 5mm, Mira

220 Strip 6mm. Boats-Mira 60

Boat 2mm, Mira 260 Boat

2.5mm. Clips-Mira 50 Double

Tantalum Clip 2mm, Mira 250

Double Tantalum Clip 2.5mm,

Mira 51 Singla Tantalum Clip

3.5mm, Mira 52 Joondeph

Single Tantalum Clip 4mm

Bausch & Lomb (Australia) Pty Ltd

BL012	Storz E5395 3 Cylindrical Sponge 	Retinal Fixation Device	2.3mm x 2.5mm x 80mm, to 	$90.00

7.5mm x 7.5mm x 100mm

BL013	Storz E5381 Silicone Strip	Silicone Tire	Outside diameter 30.2m to 	$40.00

33.6mm, inner diameter 26mm,

overall length 10.4mm to

BL014	Storz E5381 Silicone Strip	Circling Band	Overall length 10.4mm to 	$40.00

Device Technologies Australia Pty Ltd

DE178	Silicon Retinal Implant	Sponge	2.5 x 4.0 x 80mm, 3.0 x 5.0 x 	$90.00	$100.00

100mm, 3.25 x 7.0 x 80mm, 5.5

x 7.5 x 80mm, 1.5 x 80mm,

2.0 x 80mm, 2.5 x 80mm, 3.0 x

80mm, 4.0 x 80mm, 5.0 x

80mm, 7.0 x 80mm

DE179	Silicon Retinal Implant	Tire 	7.0, 9.0, 12.5, 6.0, 8.5, 10.0mm	$45.00	$50.00

DE181	Silicon Retinal Implant	Band	0.75 x 2.0 x 125mm, 0.60 x 2.5 	$45.00	$50.00

x 125mm, 0.75 x 2.5 x 125mm

Prostheses List by Category, Groups and Sponsor	Page 279 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Spectrum Surgical

SO009	FCI Scleral Buckling Devices	Band/strip: solid silicone	Band - 2.0 x 0.75mm Type 40, 	$45.00

3.5 x 0.75mm Type 41, 4.0 x

1.25mm Type 42, 2.5 x 0.6mm

Type 240, Morin 3.5 x 0.6mm

Strip - 5.7mm Type 20, 7.2mm

Type 31, 9.2mm Type 32, 6mm

Type 219, 7.5mm Type 220,

8mm Type 225

SO011	FCI Scleral Buckling Devices	Tire: Solid Silicone	Symmetrical: (2.5 mm Groove, 	$45.00

7 to 9mm wide), Biconvex:

(2.5mm Groove, 7 to 10mm

wide), Asymetrical: (2.5mm

Groove, 7 to 10mm wide)

SO012	FCI Scleral Buckling Devices	Sponge/Cord: Silicone	Cord: 1.0 to 5.0mm O.D. x 	$90.00	$138.00

150mm length; Half Cord:

3.0mm to width x1.5mm to

2.5mm height x150mm; Circular

Sponge: 3 to 5mm; Oval

Sponge: 2 to 5.5mm x 4 to

12mm; Half Sponge: 2 to 3.1mm

x 4 to 7.5mm; Grooved

Sponge: 3 to 5mm x 5 to

12mm; Gain Sponge: 6 x

2.5mm; Sahal Sponge: 4 to 5mm

SO013	FCI Scleral Buckling Devices	Strip: Solid Silicone	Strip: 1.4 x 4.4 x 100mm, Morin	$40.00	$173.00

Strip: 7mm wide x 100mm

long, Caputo Zip Strip: 7 to

9mm wide x 120mm long,

Korobelnik Oval Strip: 2 x 5mm

Group 16b: Retinal Detachment - Clips and tacks

Device Technologies Australia Pty Ltd

DE201	Labtician Tantalum Clips	Tantalum	2, 2.5mm	$40.00	$50.00

Group 16c: Retinal Detachment - Sleeves

Bausch & Lomb (Australia) Pty Ltd

BL011	Storz E5381 Silicone Strip	Silicone Sleeve	1.65mm to 2.2mm diameter, 	$15.00

length 6.1mm to 30mm

Prostheses List by Category, Groups and Sponsor	Page 280 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Device Technologies Australia Pty Ltd

DE180	Silicon Retinal Implant	Sleeve	1mm, .76mm, 1.5mm	$15.00	$25.00

Spectrum Surgical

SO010	FCI Scleral Buckling Devices	Fixation Sleeve: Solid silicone	O.D: 1.65 to 2.41mm, Length 	$15.00	$35.00

30mm

Group 16d: Retinal Detachment - Tamponading gasses and fluids

Alcon Laboratories (Aust.) Pty Ltd

AL013	Perfluoron Kits	Perfluoro-n-octane for use as a retinal 	5mL	$240.00

surgery additive

AL014	Perfluoron Kits	Perfluoro-n-octane for use as a retinal 	7mL	$260.00

surgery additive

Bausch & Lomb (Australia) Pty Ltd

BL004	Adato Octa	Adato Octa Perfluorooctacarbon	5mL	$240.00

BL017	Perfluo-octane (Oktaline) Okta-Line	Perfluorocarbon Liquid  for use as a 	5mL	$240.00

retinal surgery additive

Design for Vision Pty Ltd

DV244	D.O.R.C. Eftiar	Eftiar Decaline and Octane 5ml	5ml	$240.00	$320.00

Device Technologies Australia Pty Ltd

DE284	Single Dose Opthalmic Gases	Single dose tamponading gas for retinal 	30ml	$150.00

surgery

IQ Medical

IQ008	Octane & Decalin	Perfluorocarbon retinal tamponade 	5ml & 7ml, Sterile	$240.00

medium, intraoperative

Group 16e: Retinal Detachment - Heavy liquids

Bausch & Lomb (Australia) Pty Ltd

BL003	Adeto Deca (various)	Adato Deca Perfluorodecacarbon	5mL	$280.00

BL018	DK Line 100% purified perfluorodecalin	Perfluorodecalin	7ml	$280.00

Prostheses List by Category, Groups and Sponsor	Page 281 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Device Technologies Australia Pty Ltd

DE204	Arcaline (Perfluorodecaline)	Liquid perfluorocarbon aid for retinal 	3ml, 5ml, 7ml	$280.00

surgery, operative device for retinal

surgery, in particular retinal detachment

(RD), RD with giant tear etc.

DE205	Arcotane (Perfloro-N-Octane)	Liquid perfluoro-N-Octane aid for retinal 	5ml, 7ml	$280.00

surgery, pre-operative device for retinal

surgery, in particular retinal detachment

(RD), RD with giant tear, RD with

proliferative vitreal retinopathy (PVR) etc.

IQ Medical

IQ005	Densiron	Heavy Tamponade Liquid Medium, 	10 ml, Sterile	$335.00	$450.00

Postoperative

Spectrum Surgical

SO023	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, 	5ml	$280.00

FCI - OCTA: Purified perfluoro-N-octane

SO024	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, 	7ml	$280.00	$385.00

FCI - OCTA: Purified perfluoro-N-

Group 16f: Retinal Detachment - Silicone oils

Bausch & Lomb (Australia) Pty Ltd

BL001	Adato Sil-ol Silicone Oil (various 	Adato Sil-Ol Silicone Oil 1000	10mL	$195.00

viscosities)

BL002	Adato Sil-ol Silicone Oil (various 	Adato Sil-Ol Silicone Oil 5000	10mL	$195.00

viscosities)

BL016	Oxane LMWC Fractioned Silicone Oil	Purified fractioned silicone oil	10mL	$195.00

BL024	Oxane HD	Silicone oil - RMN3 mixture	10ml	$195.00

Design for Vision Pty Ltd

DV243	D.O.R.C. Silicon Oil	D.O.R.C. Silicon Oil 1000/5000CS	10ml	$195.00	$243.00

Device Technologies Australia Pty Ltd

DE228	LSO Silicone Oil	Silicone oil for tamponade use in 	10ml, vial or syringe	$195.00	$220.00

vitreoretinal surgery

IQ Medical

IQ006	Siluron 1000 & Siluron 5000	Silicone Oils	10 ml, Sterile	$160.00

Prostheses List by Category, Groups and Sponsor	Page 282 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Spectrum Surgical

SO022	FCI Purified Silicone Oil (Solvent Free)	Viscosity: 1000 cst/5000 cst: solvent free 	10ml	$195.00	$240.00

purified silicone oil

Group 2: Anterior Chamber (phakic)

Group 2a: Anterior chamber: phakic, rigid lenses

Emagin Pty Ltd

EG012	Artisan Anterior Chamber IOL	Phakic Intraocular Lens Myopic / 	5.00mm Optic Diameter x 8.5 in	$680.00

overall length;

Group 4: Posterior Chamber IOLs (aphakic, edge and no edge

Group 4a: Posterior chamber: aphakic, foldable, no edge modification, plate haptic lenses

at, t

Carl Zeiss Pty Ltd

CZ020	Zeiss- Acri.Comfort 646TLC	Zeiss- Acri.Comfort 646TLC (MICS 	Overall length 11.00mm Optic 	$699.00

Bitoric Aspheric Foldable IOL)	size 6.00mm +6.0D +32.0D

inclusive in 0.5D increments

Cylinder +1.0 to 6.0D inclusive

CZ021	Zeiss- Acri.Comfort 646TLC	Zeiss - Acri.Comfort 646TLC (MICS 	Overall length 11.00mm     	$699.00	$1,300.00

Biotoric Aspheric Foldable IOL)	Optic size 6.0mm             -

10.00 to +5.50D inclusive in

0.5D increments        Cylinder

+1.0D to 12.0D inclusive in

0.5D increments     +6.0D to

+32.0D inclusive in 0.5D

increments      Cylinder +6.5D

to 12.0D inclusive in 0.5D

increments

Group 4d: Posterior chamber: aphakic, foldable, edge modification lenses

at

Advanced Medical Optics Australia Pty Ltd

AO014	TECNIS™ Intraocular Lens (Z9002 & 	Foldable Intraocular Lenses - Ultraviolet 	5-10 dioptre in 1.0 dioptre 	$364.00

ZA9003)	light absorbing posterior chamber 	increments; 10.5 - 30 dioptre in

intraocular lenses, Silicone/Acrylic	0.5 increments

AO024	Tecnis™ One Piece (ZCB00)	One piece intraocular lens with edge 	+6 diopters to +30 diopters in 	$364.00

modification and 360 degree square edge	0.5d increments

Prostheses List by Category, Groups and Sponsor	Page 283 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

at, pp

ConceptVision Australia Pty Ltd

CS008	Preloaded Aspheric Intraocular Lens	Silicone intraocular lens	6.0mm	$345.00

at, vblf

Design for Vision Pty Ltd

DV247	HOYA AF-1  iMics1 NY-60	Preloaded Mini Incision, Aspheric, Blue-	+6.0D to 26.0D (0.5 steps)	$385.00	$420.00

blocker, Single-piece, Hydrophobic

IQ Medical

IQ009	Softec HDY	Acrylic, single piece, foldable intraocular 	Available in dioptric powers 	$406.00

lens with anterior and posterior optic-	from -5.0 to + 36.0, 1D steps: -

haptic square edge, 360 degree optic 	5.0 to +10.0 and +31.0 to

square edge design, precision power 	+36.0; 0.5D steps: +10.5 to

calculation, aberration technology and 	+18.0 and +25.0 to 29.5; 0.25D

T

Bausch & Lomb (Australia) Pty Ltd

BL028	Akreos Toric Astigmatism- Correcting 	Single piece, foldable, acrylic intraocular 	The overall diameter is 11 	$698.00

lens with a toric optic on the posterior 	millimetres for the entire lens

surface and axis marks on the posterior 	power range (spherical

optic's flat meridian.	equivalent powers from +10.0 to

+30.0 diopters in 0.5 diopter

steps and cylinder powers of

+1.25, +2.00 & +2.75 diopters).

Design for Vision Pty Ltd

DV249	Rayner Super Premium Toric I.O.L.	Acrylic foldable toric single piece I.O.L	-10.0D to 0.00D Sphere: 1D to 	$698.00	$2,400.00

11.00D Cylinder in 0.25 steps

+31.00D to +35.00 Spit:

1D to 11.00D Cylinder in

Group 5: Posterior Chamber IOLs

Group 5a: Posterior chamber: aphakic, foldable, multifocal or bifocal lenses

Advanced Medical Optics Australia Pty Ltd

AO020	ReZoom Acrylic Multifocal Intraocular 	Acrylic, foldable, posterior chamber, 	6.0mm Optic Diameter x 	$780.00	$950.00

intraocular lens	13.0mm overall length

Prostheses List by Category, Groups and Sponsor	Page 284 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AO023	TECNIS™ Multifocal Intraocular Lens 	Tecnis Multifocal foldable Posterior 	+5.0 Diopter to 34.0 Diopter in 	$780.00	$950.00

(ZM900)	Chamber Diffractive Intraocular Lens 	0.5 diopter increments

Model ZM900.  Posterior Chamber lens

with UV light-absorbing, foldable,

silicone, 3 piece with a diffractive

posterior optic and a Modified Prolate

AO026	TECNIS™ Multifocal Intraocular Lens 	Posterior chamber lens with UV light-	+5 diopters to +34 diopters in 	$822.00	$1,500.00

(ZMA00)	absorbing, foldable acrylic, 3-piece with a	0.5d increments

diffractive posterior optic and a modified

anterior surface technology with edge

modification and 360 degree square edge.

Alcon Laboratories (Aust.) Pty Ltd

AL027	ReSTOR multipiece apodised diffractive	Foldable acrylic mutli-piece lens with 	+6 to +30 Diopters	$820.00	$1,220.00

blue light filtering PC IOL Model 	apodised diffractive optic and blue light

protection

Bausch & Lomb (Australia) Pty Ltd

BL027	Crystalens HD	Accommodating lens with > 3 Dioptres 	10.0 to 33.0 Dioptres in .05 	$780.00

of accommodation with dual mechanism 	Dioptre steps

of action: (1) forward axial movement of

lens and (2) accommodative arching of

optic.  Posterior chamber, polyspheric

optics, 3-piece, plate haptic, foldable UV

light filtering, biconvex

Carl Zeiss Pty Ltd

CZ014	ZEISS - Acri.Lisa 466TD	Foldable aspheric single-piece intraocular 	Overall length 11.0mm Optic 	$1,198.00	$1,600.00

lens with an aspheric toric front and an 	size 6.0mm

aspheric bifocal back surface,

asymmetric light distribution 65 percent

distance and 35 percent near, with 3.75D

addition in the near focus.

CZ015	ZEISS - Acri.Lisa 366D	Foldable aspheric single-piece intraocular 	Overall length 11.0mm Optic 	$822.00

lens with an aspheric front and an 	size 6.0mm

aspheric bifocal back surface,

asymmetric light distribution 65 percent

distacne and 35 percent near, with 3.75D

addtiion in the near foucs.

Prostheses List by Category, Groups and Sponsor	Page 285 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Design for Vision Pty Ltd

DV237	Rayner "M-Flex" Mulitfocal Foldable 	Acrylic, Foldable, Single piece multi-	6.5mm Optic-Overall diameter 	$822.00	$975.00

zoned refractive aspheric multifocal with 	12.5mm: +3D or + 4D Addition:

Amon-Apple 360 Degree Square edge, 	+14D to +25D in 1.0D

Anti Vaulting Haptics	increments: +8.5D to +23.5D in

0.5D increments

Kevin Grundy (IBD) Pty Ltd

KG009	Rayner "M-Flex" Mulitfocal Foldable 	Acrylic, Foldable, Single piece multi-	6.5mm Optic-Overall diameter 	$822.00	$975.00

zoned refractive aspheric multifocal with 	12.5mm: +3D or + 4D Addition:

Amon-Apple 360 Degree Square edge, 	+14D to +25D in 1.0D

Anti Vaulting Haptics	increments: +8.5D to +23.5D in

0.5D increments

KG010	Rayner M-Flex Toric (Standard)	Acrylic, Foldable, Single Piece, Multi-	5.75mm / 12.0mm: 6.25mm / 	$822.00	$1,100.00

zoned Refractive Aspheric Toric 	12.5mm +3.00D or +4.00D

Mulitfocal with Amon-Apple enhanced 	Addition FAR: +14.0D to

360 degree Square edge, Anti Vaulting 	+32.00D in 0.5 STEPS: +2.00D

Cylinder. NEAR: +14.0D to

27.0D in 0.5 STEPS: +2.00D

KG011	Rayner "M-Flex" Toric (Non Standard)	Acrylic, Foldable, Single Piece, Muli-	5.75/12.0mm: 6.25/12.5mm 	$1,030.00	$2,700.00

Zoned Refractive, Toric Multifocal with 	+3.00D to +4.00D Addition

Amon-Apple enhanced 360 Degree square	FAR: +14.0D to +32.0D in 0.5D

edge, Anti-vaulting Haptics, Patient 	 Increments: NEAR: +14.0D to

+27.0D in 0.50D Increments

Cylinder: 1.0D to 1.5D and 2.5D

to 6.00D in 0.5 increments

at, vblf

Alcon Laboratories (Aust.) Pty Ltd

AL028	AcrySof IQ ReSTOR SN6AD3	Posterior Chamber, UV absorbing, 	+6 D to + 30 D	$862.00	$1,500.00

foldable, acrylic, single piece lens with

apodised diffractive optic and blue light

AL030	AcrySof IQ ReSTOR SN6AD1 and 	Posterior Chamber, UV absorbing, 	+6 D to + 30 D	$862.00	$1,550.00

MN6AD1	foldable, acrylic, single and multiple

lenses with apodised diffractive optic and

blue light protection

Design for Vision Pty Ltd

DV248	HOYA PY-60MV	Preloaded in cartridge, Multifocal, 	+14.0D to 27.0D (0.5 steps)	$864.00	$1,500.00

Aspheric, Blue-blocker, Single Piece,

Prostheses List by Category, Groups and Sponsor	Page 286 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

vblf

Alcon Laboratories (Aust.) Pty Ltd

AL022	 AcrySof ReSTOR PC SN60D3	Posterior Chamber, UV absorbing, 	+6.0 to +30.0 D	$820.00	$1,250.00

foldable, acrylic, single piece lens with

apodised diffractive optic and blue light

Group 5b: Posterior chamber: aphakic, foldable, accommodative lenses.

Device Technologies Australia Pty Ltd

DE260	ICU Akkomodative® IOL	ICU Akkomodative IOL- Acrylic lens 	Lens Dia =5.5mm Haptics Dia 	$490.00	$950.00

Range 15-35 Dioptres in 0.5 steps	=9.8mm

IQ Medical

IQ003	Tetraflex	Acrylic single piece, foldable 	Available in dioptric powers 	$490.00	$850.00

accommodating intraocular lens with 	from +5.0 to +36.0, 1D steps:

sqare edge design, custom control 	+31.0 to +36.0; 0.5D steps:

precision and closed loop haptic design	+5.0 to +18.0 and +25.0 to

+30.0; 0.2D steps; +18.0 to

Group 6:Posterior Chamber IOLs (pseudo-phakic)

Group 6a: Posterior chamber: pseudo-phakic, piggy-back, monofocal lenses

Design for Vision Pty Ltd

DV246	Rayner Sulcoflex Ashperic (Premium) 	Pseudophakic Supplementary I.O.L.O.L.	-10.0D to -5.50D in 0.5D 	$323.00	$698.00

increments.                +5.50D

to 10.00D in 0.5D increments

Group 8:  Viscoelastic Fluids

Group 8a: Intra Ocular Viscoelastic fluids

Alcon Laboratories (Aust.) Pty Ltd

AL015	Cellugel viscoelastic fluid	Hypromellose 2%	.	$80.00

AL029	DisCoVisc Ophthalmic Viscosurgical 	Sodium hyaluronate 17 mg/mL and 	0.5 mL and 1.0 mL	$80.00	$110.00

Device	chondroitin sulfate 40mg/mL

Bausch & Lomb (Australia) Pty Ltd

BL008	Ocucoat Intraocular Fluid	20mg/mL hydroxypropylmethyl cellulose 	1mL sterile	$80.00

for intraocular use

Prostheses List by Category, Groups and Sponsor	Page 287 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

IQ Medical

IQ002	Ocuvis and Ocumax 2% 	20mg/mL hydroxypropylmethyl cellulose 	2mL sterile	$80.00

Hydroxypropylmethylcellulose	for intraocular use. Pre-loaded in a sterile

syringe with one cannula for injection, in

a sterile Tyvek pouch

h

Advanced Medical Optics Australia Pty Ltd

AO007	Viscoelastic Fluid: AMO Vitrax (sodium 	Surgically Implanted Intraocular 	0.65mL	$80.00

hyaluronate) 30mg/mL, 0.65mL

AO008	Healon, Intraocular Viscoelastic Fluid	Sodium Hyaluronate 10mg/ml	Healon 0.4ml, 0.55ml & 0.85ml	$80.00

Alcon Laboratories (Aust.) Pty Ltd

AL006	PROVISC VISCOELASTIC 	PROVISC contains sodium hyaluronate	0.55mL & 0.85mL packs	$80.00

AL007	VISCOAT Viscoelastic Fluid	Chondroitin sulfate and sodium 	0.75mL	$80.00

Bausch & Lomb (Australia) Pty Ltd

BL015	Amvisc Plus injection	15mg/mL Sodium Hyaluronate for 	0.5mL and 0.8mL	$80.00

intraocular use

Carl Zeiss Pty Ltd

CZ012	Ophthalin Viscoelastic	Ophthalin; Viscoelastic Solution - sodium 	Volume 1.0ml	$80.00

hyaluronate 10mg/ml.  Preloaded in sterile

syringe with a 27G cannula for injection

h, df

Carl Zeiss Pty Ltd

CZ019	TwinVisc Viscoelastic	Twinvisc Viscoelastic Solution - 	Total volume 1.4 ml	$110.00	$120.00

Ophthalin contains sodium Hyaluronate

1%/ Endogel contains sodum Hyaluronate

2.2% Preloaded in sterile syringe with a

25G cannula for injection

h, hv

Carl Zeiss Pty Ltd

CZ013	Ophthalin Plus Viscoelastic	Ophthalin Plus; Viscoelastic Solution - 	Volume 1.0ml	$80.00

sodium hyaluronate 15mg/ml.  Preloaded

in sterile syringe with a 27G cannula for

injection

Prostheses List by Category, Groups and Sponsor	Page 288 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HU, H

Advanced Medical Optics Australia Pty Ltd

AO009	Healon 5, Intraocular Viscoelastic Fluid	HEALON5- Sodium hyaluronate 23mg/ml	0.6ml	$85.00

AO010	Healon GV Intraocular Viscoelastic Fluid	Sodium Hyaluronate 14mg/mL	0.5mm and 0.85ml	$85.00

Group 8b: Intra Ocular non Viscous

Design for Vision Pty Ltd

DV231	Vision Blue	Trypan blue dye for ophthalmic 	0.5ml syringe	$37.00	$48.00

IQ Medical

IQ007	Blueron	Eye Dye	0.5 ml, Sterile	$33.00

h, df

Alcon Laboratories (Aust.) Pty Ltd

AL005	DUOVISC VISCOELASTIC SYSTEM	PROVISC contains sodium hyaluronate, 	Small & large packs	$110.00	$120.00

VISCOAT contains chondroitin sulfate

and sodium hyaluronate

Group 9 : Capsular Tension Rings

Group 9a: Capsular tension rings: Simple

Advanced Medical Optics Australia Pty Ltd

AO021	Stabileyes Capsular Tension Ring	Polymethylmethacrylate (PMMA) Implant	12mm ring, and 13mm ring	$159.00

Alcon Laboratories (Aust.) Pty Ltd

AL001	Capsular Tension Rings	-	10.0 - 12.0 compressed,  12.3 - 	$159.00

14.5 uncompressed

Carl Zeiss Pty Ltd

CZ002	Tensiobag: Capsular Tension Ring	PMMA	Diameter 10 - 14mm	$159.00

Design for Vision Pty Ltd

DV009	Morcher Capsular Tension Ring	PMMA Implant	14, 14A, 14C	$159.00

Device Technologies Australia Pty Ltd

DE269	MicroPlex Capsular Tension Ring	PMMA, highly flexible	11mm - 13mm	$168.00

Emagin Pty Ltd

EG001	Capsular Tension Rings Clear	PMMA Implant	10/08, 12/10, 13/11mm	$159.00

Prostheses List by Category, Groups and Sponsor	Page 289 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Insight Surgical Pty Ltd

IS007	OII PMMA Capsular Tension Ring	Capsular Tension Ring - PMMA	12mm and 13mm	$159.00

P, L

Design for Vision Pty Ltd

DV029	Eyejet CRT	Capsular tension ring made of PMMA 	14 (10mm), 14C (11mm), 14A 	$243.00

per-load on disposable injector	(12mm)

P.L.

Insight Surgical Pty Ltd

IS001	Preloaded Capsulan Tension Ring	Capsular tension ring preloaded (acrylic)	13/11mm	$255.00

Group 9b: Capsular tension rings: Complex

Design for Vision Pty Ltd

DV010	Morcher Coloboma Diaphram 	PMMA Implant	96G, 96L	$334.00

Intraocular Lens

Group 1 - Anterior Chamber: aphakic, rigid lenses

Advanced Medical Optics Australia Pty Ltd

AO019	Verisyse AC IOL	Aphakic Model	5mm Optic Diameter x 8.5 	$156.00	$680.00

overall length

Alcon Laboratories (Aust.) Pty Ltd

AL003	MTAU1-MTAU-7	PMMA	+ 4 to 28 D	$156.00

Bausch & Lomb (Australia) Pty Ltd

BL005	Storz (Coburn) Intraocular Lens  	PMMA Anterior Chamber Intraocular lens	13.75mm length. 6.0mm optic 	$156.00

121UV; L122UV PMMAA Anterior 	 1 piece	size, diopter range 3-30d.

L122UV: 6.0mm optic,

13.75mm length, power range;

Emagin Pty Ltd

EG009	Artisan Anterior Chamber Intraocular 	Aphakia Model	5.00mm Optic Diameter x 8.5 in	$156.00	$298.00

Composition: PMMA	 overall length

Surface modification suffix

Advanced Medical Optics Australia Pty Ltd

AO001	Intraocular Lens: Model  AC 51L	Duralens  PMMA, Anterior Chamber IOL	6.00 mm Optic Diameter x 	$198.00

13.0mm in overall length

Prostheses List by Category, Groups and Sponsor	Page 290 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 2a - Anterior Chamber: phakic, rigid lenses.

Advanced Medical Optics Australia Pty Ltd

AO016	Verisyse AC IOL	Phakic Intraocular Lens: Model Myopia.  	5mm Optic Diameter x 8.5 	$680.00	$728.00

Composition: PMMA	overall length; 6mm Optic

Diameter x 8.5 overall length

AO017	Verisyse AC IOL	Phakic Intraocular Lens: Model 	5mm Optic Diameter x 8.5 	$680.00	$728.00

Hyperopia.  Composition: PMMA	overall length

T

Advanced Medical Optics Australia Pty Ltd

AO018	Verisyse AC IOL	Phakic Intraocular Lens: Model Toric	5mm Optic Diameter x 7.5 	$1,056.00

overall length

Toric Suffix

Emagin Pty Ltd

EG008	Artisan Anterior Chamber Intraocular 	Phakic Intraocular Lens: Model Toric	5.00mm Optic Diameter x 7.5 in	$1,056.00	$1,538.00

Composition: PMMA	 overall length

Group 2b - Anterior Chamber: phakic foldable lenses

Advanced Medical Optics Australia Pty Ltd

AO025	VeriFlex Foldable Phakic IOL	Anterior chamber foldable phakic silicone 	-2  to -14.5d in 0.5d increments.	$723.00	$880.00

intraocular lens	  Overall diameter 8.5mm. Optic

6.0mm

Emagin Pty Ltd

EG010	Artiflex Anterior Chamber Intraocular 	Optic: Hydrophobic Polysiloxane. Haptic: 	6mm optic diameter x 8.5 in 	$723.00	$880.00

PMMA	overall length

Prostheses List by Category, Groups and Sponsor	Page 291 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 3 - Posterior Chamber: aphakic, rigid lenses

Alcon Laboratories (Aust.) Pty Ltd

AL002	Intraocular Lens: MODIFIED C PMMA 	Other:PMMA	Range of Powers:-10 to +34 D	$156.00

PC IOL MODEL MZ60BD, MODIFIED

PMMA PC IOL Model MZ20BD,

CANTILEVER PMMA PC IOL MODEL

CVC1U, Modified PMMA PC IOL

Model MZ30BD, PMMA PC, IOL

Model MC60BD, PMMA PC, IOL

Model MC50BD, PMMA PC, IOL

Model CZ70BD, MODIFIED C PMMA

PC IOL MODEL 251.60 (MC50BM),

MODIFIED C PMMA PC IOL MODEL

251.61 (MC51BM), MODIFIED C

PMMA PC IOL MODEL 551.61

(MC60CM), Alcon JF30BD Cantilever

PMMA PC IOL, Alcon Cantilever Model

LX90BD PMMA PC IOL, Alcon

Cantilever Model LX10BD PMMA PC

IOL, Alcon Cantilever Model LC80BD

PMMA PC IOL, PMAA PC

INTRAOCULAR LENS

Bausch & Lomb (Australia) Pty Ltd

BL006	Posterior chamber IOLS model P359 	PMMA Posterior Chamber lens 1 piece;	12.25mm to 13.75mm length. 	$156.00

UV, P399 UV, 68 UV, 95 BUV, or lolab 	5.5mm to 7mm optic size,

PC One Piece, model 6741B, 8591B, 	diopter range -4.5 - 45d to 10 -

8191B; Model EZE-Fit 65	34d; EZE-Fit 65: 6.5mm optic,

13.35mm length, Power range:

10.0 to 30.0 Diopter

Group 4a - Posterior Chamber: aphakic, foldable, no edge modification, haptic plate lenses

Bausch & Lomb (Australia) Pty Ltd

BL010	Chiroflex Model C11UB	Intraocular Lens Foldable Plate Haptic  	10.50m length, 6.0mm optic 	$281.00

Silicone Posterior Chamber Foldable Plate	size, diopter range 10-30d

Haptic Lens 1 piece

Prostheses List by Category, Groups and Sponsor	Page 292 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Aberration Technology

IQ Medical

IQ001	UltraChoice 1.0 Rollable Thinlens Model	Acrylic, single piece, rollable, refractive 	Dioptric powers from 10.0 to 	$323.00	$675.00

PHC001	multifocal with monofocal function 	30.0 D

meniscus optic, accommodating

intraocular lens with 50 micron edge

at

Carl Zeiss Pty Ltd

CZ017	ZEISS - Acri.Smart 36A	ZEISS - Acri.Smart 36A (MICS Aspheric	Overall length 11.00mm Optic 	$323.00	$364.00

Foldable IOL)	size 6.0mm

Toric Suffix

ConceptVision Australia Pty Ltd

CS002	Staar Toric foldable silicone intraocular 	Plate haptics 6.0mm optic	10.8mm - 11.2mm length	$579.00

lens: Model AA4203TF; Model

Group 4b - Posterior Chamber: aphakic, foldable, no edge modification lenses

Advanced Medical Optics Australia Pty Ltd

AO005	Intraocular Lens: Allergan Model SI-	PhacoFlex II SI-30NB Silicone or 	6.0 mm Optic Diameter x 	$281.00

30NB Silicone PC IOL; or AMO model 	PhacoFlex II SI-40NB Silicone; Foldable 	13.0mm in overall length.

SI-40NB Silicone PC IOL

Bausch & Lomb (Australia) Pty Ltd

BL007	Hydroview Intraocular lens Model 	Foldable Hydrogel Lens  Hydrogel 	12.50mm length, 6.0mm optic 	$281.00

Posterior Chamber Foldable lens 1 piece	size, diopter range 15-30d

BL009	Soflex UV Absorbing  Silicone Posterior	Foldable Intraocular Lens  Silicone 	13.00mm length, 6.0mm optic 	$281.00

Chamber  IOL Model LI61U	Posterior Chamber Foldable Lens 3 piece	size, diopter range 5-30d

ConceptVision Australia Pty Ltd

CS003	Staar foldable silicone intraocular lens: 	Polyimide haptics 6.3mm optic - low 	14.0mm length	$229.00	$370.00

Model AQ 5010V

Device Technologies Australia Pty Ltd

DE263	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Micrincision Posterior	6.D-40.0D	$322.00	$350.00

Chamber Lens

MC611M1

Prostheses List by Category, Groups and Sponsor	Page 293 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 4d - Posterior Chamber: aphakic, foldable, anterior and posterior edge modification

Advanced Medical Optics Australia Pty Ltd

AO002	Sensar  AR40 Monofocal Acrylic IOL,  	Soft Acrylic, Foldable, UV Absorbing, 	6 mm Optic Diameter x 13mm 	$322.00

Sensar OptiEdge AR40e Foldable 	Posterior	in overall length.

Acrylic IOL

AO006	Clariflex, Model CLRFLXB Posterior 	Foldable Silicone IOL with OptiEdge 	One size only	$322.00

Chamber Intraocular Lens

Alcon Laboratories (Aust.) Pty Ltd

AL004	 Acrysof Multipiece Models MA60BM, 	Foldable Acrylic Multi-piece Lens	 -5 D to +30 D	$312.00

MA30BA, MA50BM, MA60MA,

MA30AC, MA60AC

AL011	Intraocular Lens: Alcon Acrysof Model 	Foldable Acrylic Single-piece Lens, 	Range of Powers: +6 to +40 D	$322.00

SA30AL, Alcon Acrysof Model 	asymmetric optic/consistent edge

SA60AT, SA30AT Intraocular Lens;

Alcon Acrysof PC IOL Model SA65AT

AL024	AcrySert model SN60WS	Foldable Acrylic Single-piece Lens with 	+6 to +36 D	$420.00

Blue light protection and aspheric

correction, in cartridge.

AL025	AcrySof Multipiece Models MN60MA, 	Foldable Acrylic multi-piece Lens with 	- 5 D to + 30 D	$364.00

MN60AC	Blue light Protection

Bausch & Lomb (Australia) Pty Ltd

BL019	Akreos Fit acrylic foldable posterior 	Composition: Hydrophilic acrylic 	10.0 to 15.0 Diopter in 1.0 	$322.00

chamber intraocular lens	polymer.  Packaged in lens folding device	Diopter increments; 15.0 to 25.0

in a sterile vial.  Modified C-Loop design	 Diopter in 0.5 Diopter

increments; 25.0 to 30.0 Diopter

in 1.0 Diopter increments

BL020	Akreos Adapt acrylic foldable posterior 	Composition: Hydrophilic acrylic 	10.0 to 15.0 Diopter in 1.0 	$322.00

chamber intraocular lens	polymer.  Packaged in lens folding device	Diopter increments15.0 to

in a sterile vial.  Four haptic design	25.0 Diopter in 0.5 Diopter

increments25.0 to 30.0

Diopter in 1.0 Diopter increments

BL021	SoflexSE, Intraocular lenses, Posterior 	Composition: silicone, Lenses - foldable, 	Range of powers: 5.0 to 30.0 	$322.00

Chamber	posterior chamber intraocular lenses	Diopter - Optic diameter 6.0mm;

13.0mm length

Prostheses List by Category, Groups and Sponsor	Page 294 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Carl Zeiss Pty Ltd

CZ003	 Intraocular Lens: Model Bigbag	 Hydrophilic acrylic, foldable, PC, single 	6.5mm optic diameter x 10.35 	$322.00	$468.00

piece, Tri-haptic, square edge design, UV 	overall diameter

blocker

CZ008	Hydromax	Hydrophobic Acrylic, Foldable, PC, 3-	6.0mm Optic x 12.5mm Overall 	$312.00	$322.00

Piece, Square Edge Design, UV Blocker	Diameter

ConceptVision Australia Pty Ltd

CS007	Staar foldable silicone IOLs: Models 	Plate haptics 6.0mm; Polymide haptics 	10.8mm 0 13.5mm length	$281.00

AQ2010V, AQ2017V and AO2003V	5.5 or 6.3mm optic;

Device Technologies Australia Pty Ltd

DE264	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Posterior Chamber 	6.0D-40.0D	$312.00	$395.00

LensMCX11ASP

Kevin Grundy (IBD) Pty Ltd

KG001	Rayner C-Flex	Hydrophilic HEMA-MMA copolymer, 	5.75mm dia optic, 12.00mm dia 	$322.00

foldable with injector	overall

KG002	Superflex	Hydrophilic HEMA-MMA copolymer, 	6.25mm dia optic, 12.5mm dia 	$322.00

foldable with injector	overall

at

Bausch & Lomb (Australia) Pty Ltd

BL022	SofPort Advanced Optic (AO)	Posterior chamber, foldable silicone IOL 	0 D to 30.0 D	$364.00

with anterior optic-haptic square edge,

posteriof optic-haptic square edge, 360-

degree optic square edge and asperic

optic for aberration control

BL023	Akreos Advanced Optic	Posterior chamber, foldable acrylic IOL, 	0 D to 30.0 D	$364.00

with anterior optic-haptic square edge,

posterior optic-haptic square edge, 360

degree optic square edge and aspheric

optic for aberration control

Carl Zeiss Pty Ltd

CZ010	XL Stabi ZO, Invent ZO	Hydrophilic Acrylic, Foldable, PC, Single 	6.0mm Optic x 10.5mm Overall 	$354.00	$364.00

Piece, Square Edge Design, UV Blocker, 	Diameter

Tri-haptic, Quad Haptic, Aspheric Optic

CZ016	ZEISS - Acri.Smart 46LC	Aberration corrected, optimized aspheric 	Overall length 11.0mm Optic 	$364.00

foldable square-edged single-piece 	size 6.0mm

intraocular lens for cpasular bag fixation

Prostheses List by Category, Groups and Sponsor	Page 295 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Insight Surgical Pty Ltd

IS008	Quatrix Aspheric Micro-Incision 2.2mm	Posterior chamber IOL, acrylic, single 	+10 to +30	$364.00	$445.00

Intraocular Lens	piece with 360 degree square edge

includign the optic haptic junction, 8 point

stability, evolutive aspheric, packaged

with disposable syringe and cartridge.

IQ Medical

IQ004	Softec	Acrylic, single piece, foldable intraocular 	Available in dioptric powers 	$364.00

lens with anterior and posterior optic-	from -5.0 to +36.0, 1D steps: -

haptic square edge, 360 degree optic 	5.0 to +10.0 and +31.0 to

square edge design, precision power 	+36.0; 0.5D steps: +10.5 to

calculation and aberration technology	+18.0 and +25.0 to +29.5;

Kevin Grundy (IBD) Pty Ltd

KG012	Rayner "C-Flex" and Superflex" 	Aspheric Intra Ocular Lenses with Amon-	C-Flex -970C + 22.5D to +34D 	$364.00

Aspheric IOL	Apple enhanced 360 Degree square edge, 	Superflex-920H - 10D to +22D

Anti-vaulting Haptics

at, pp

Bausch & Lomb (Australia) Pty Ltd

BL026	Akreos AO Micro Incision Lens	Micro Incision, posterior chamber, 	6mm optic overall diameter 	$385.00	$510.00

foldable acrylic, aphakic, anterior & 	11.0mm(10D-15D), 10.7mm

posterior edge modification, preloaded, 	(15.50-22D), 10.5mm (22.50-

with aberration contro, intraocular lens

Carl Zeiss Pty Ltd

CZ011	XL Stabi ZO Sky, Invent ZO Sky	Hydrophilic Acrylic, Foldable, PC, Single 	6.0mm Optic X 10.5mm Overall	$374.00	$390.00

Piece, Square Edge Design, UV Blocker, 	 Diameter

Trihaptic, Quad Haptic, Aspheric Optic,

Pre-Loaded

at, vblf

Bausch & Lomb (Australia) Pty Ltd

BL025	SofPort Advanced Optic (AO) Violet 	Posterior chamber, aphakic, foldable 	6mm optic 13mm overall length	$406.00

silicone, anterior & posterior edge 	Modified  C 5 degree

modification intraocular lens with 	angulation 0-30D, 0.5D steps

aberration technology, a violet light

Prostheses List by Category, Groups and Sponsor	Page 296 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

at, vblf, pl

Alcon Laboratories (Aust.) Pty Ltd

AL031	AcrySert C Model SN6CWS	Posterior chamber, UV absorbing, 	+6.0 to +30.0 D	$426.00

foldable, acrylic, single piece lens with

blue light protection and aspheric

at, vblf, t

Alcon Laboratories (Aust.) Pty Ltd

AL032	AcrySof Toric Aspheric IOL	Posterior chamber, UV absorbing, 	+6.0 to +30.0 D	$780.00

foldable, acrylic, toric, single piece lens

with blue light protection and aspheric

Blue Light Filter

Alcon Laboratories (Aust.) Pty Ltd

AL016	Alcon Acrysof Natural Model SN60AT	Foldable Acrylic Single-piece Lens, 	+6 to +40D	$364.00

asymmetric optic/consistent edge, with

blue light protection

Blue Light Filter, Aberration Tech

Alcon Laboratories (Aust.) Pty Ltd

AL021	Alcon AcrySof SN60WF	Foldable Acrylic Single-piece Lens with 	+ 6.0 D to +30.0 D	$385.00

Blue Light Protection and Aspheric

Blue Light Filter, pre-packaged

Alcon Laboratories (Aust.) Pty Ltd

AL019	AcrySof Model SN60AS	Foldable Acrylic Single-piece lens, in 	+6 to +40 D	$384.00

cartridge, with blue light protection

pl, at

Design for Vision Pty Ltd

DV232	HOYA-PS AF-1 (UV) PC-60AD	Preloaded in cartridge, aspheric, foldable, 	+6.0D to +30.0D (0.5D steps)	$384.00

single-piece, hydrophobic acrylic

Insight Surgical Pty Ltd

IS009	Quatrix Aspheric Preloaded Intraoular 	Preloaded posterior chamber IOL, 	+10 to +30	$384.00	$535.00

acrylic, single piece with 360 degree

square edge including the optic haptic

junction, 8 point stability, evolutive

aspheric, packaged in a preloaded

Prostheses List by Category, Groups and Sponsor	Page 297 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PL, BLF, AT

Ausponsor Pty Ltd

AQ003	Hoya-PS AF-1 (UY) PY-60AD	Preloaded in cartridge, Aspheric, Blue 	+6.0D to +30.0D (0.5D steps)	$420.00

blocker, Foldable, Single-Piece,

Hydrophobic Acrylic

T

Device Technologies Australia Pty Ltd

DE253	MicroSil Toric IOL	Silicone Lens (MS6116TU) Standard 	Lens Dia =6.00mm Haptics Dia 	$688.00

Range -3.00 to 31.00 Dioptres in 0.5 	=11.6mm

steps with cylinder from 2.00 to 12.00

DE254	MicroSil Toric IOL	Silicone Lens (MS6116TU) Semi-Custom	Lens Diameter = 6.00mm 	$688.00	$950.00

Range -3.00 to 31.00 Dioptres with 1.0 	Haptics Dia = 11.6mm

steps, Cylinder from 3.0 - 14.0 Dioptres

DE255	MicroSil Toric IOL	Silicone Lens (MS6116TU) Custom made	Lens Dia = 6.00mm Haptics Dia 	$688.00	$1,540.00

range: -28 to +31 Sphere and up to 30D 	= 11.6mm

cylinder

T,BLF

Alcon Laboratories (Aust.) Pty Ltd

AL023	Alcon AcrySof Toric PC IOL Models	Posterior chamber, UV absorbing, 	SN60T3 (1.50 D cylinder), 	$740.00

foldable, acrylic, toric, single piece lens 	SN60T4 (2.25 D cylinder),

with blue light protection	SN60T5 (3.00 D cylinder),

SN60T6 (3.75 D cylinder),

SN60T7 (4.50 D cylinder),

SN60T8 (5.25 D cylinder),

SN60T9 (6.00 D cylinder)

Toric Suffix

Kevin Grundy (IBD) Pty Ltd

KG003	Rayner Standard Toric C-Flex	Hydrophilic HEMA-MMA copolymer, 	5.00mm dia optic, 12.00mm dia 	$698.00

foldable with injector	overall, cyls 2.0D to 6.0D in 2D

increments

KG004	Rayner Premium Toric C-Flex	HEMA-MMA copolymer, foldable with 	5.75mm dia optic, 12.00mm dia 	$698.00	$1,800.00

injector	overall, cyls 1.5D to 11.0D in

0.5D increments

Prostheses List by Category, Groups and Sponsor	Page 298 of 865

OPHTHALMIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 6a - Posterior Chamber: Pseudo-phakic, piggy back, monofocal

at

Kevin Grundy (IBD) Pty Ltd

KG008	Rayner "Sulcoflex" Pseudophakic I.O.L.	Sulcoflex Aspheric Pseudophakic I.O.L	-5D to +5D	$365.00

at, t

Kevin Grundy (IBD) Pty Ltd

KG005	Rayner Sulcoflex Aspheric Toric 	Acrylic, Aspheric, Toric Pseudophakic 	6.5mm / 13.5mm - 5.0D+5.0D 	$698.00

Pseudophakic Secondary I.O.L - 	Secondary IOL :  Sulcus-fixated with 	Spheres : Increments up to  +

Undulating Haptics and Posterior Haptic 	5.00D Cylinder

Angulaiton

KG007	Rayner Sulcoflex Aspheric Toric 	6.5mm/13.5mm - 5.0D to +5.0D sphere: 	6.5mm/13.5mm - 5.0D sphere: 	$822.00	$1,800.00

Pseudophakic Secondary IOL (Premium)	increments up to 11.0D cylinder	increments up to 11.0D cylinder

Group 6b - Posterior Chamber: Pseudo-phakic, piggy back, multifocal

at

Kevin Grundy (IBD) Pty Ltd

KG006	Rayner "Sulcoflex" Aspheric Multi-focal	Acrylic, Aspheric Multi-focal 	6.5mm / 13.5mm - 	$822.00	$975.00

Pseudophakic Secondary IOL	Pseudophakic Secondary IOL: Sulcus-	5.00D+5.00D sphere with  +

Fixated with Undulating Haptics and

Posterior Haptic Angulation

Prostheses List by Category, Groups and Sponsor	Page 299 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.1.5 Ankle joint, Hemiarthroplasty

Tornier Pty Ltd

TO001	Cheville Salto Ankle Prostheses	Components include tibial, mobile 	Tibial/Talar Sizes 1small to 3 = 	$6,250.00

bearing, talar, malleolar for use as a total 	x-large. Mobile Bearing

ankle prostheses, Ti CoCr	Thickness 4,5,6,7 mm.

6.4.2 Wrist

6.4.2.1 Wrist, scaphoid bone

Orthopaedic Solutions Pty Ltd

OE002	BioProfile Pyrocarbon Carpal 	Includes: Proximal Scaphoid; Scapho-	One Size Only	$4,350.00

Trapezium; Resurfacing Capitate &

Trapezium Interposition Implants.

Composition: Pyrolitic Carbon

6.4.2.2 Carpal or tarsal bone fixation screw

Johnson & Johnson Medical Pty Ltd

DP868	Barouk Screw System	Barouk Screw - Titanium	10-34mm Length	$210.00

6.4.2.6 Wrist, Distal Ulna

head only

Wright Medical Australia

WR026	E-Centrix Ulnar Head Replacement	Ulnar Head	16 x 1.5mm Offset, 16 x 3.0mm	$1,525.00

Offset, 18 x 1.5mm Offset, 20

x 1.5Offset, 20 x 3.0mm Offset

6.5.3 Elbow joint, Radial component

6.5.3.1 Elbow joint, Radial component, head and stem

Tornier Pty Ltd

TO005	Radial Head Prostheses 	Ti CoCr, Elbow prostheses, consists of 	Stem 6.5mm & 8mm Mod Head	$3,816.00

Radial Stem + Cup.	 size 19mm & 22mm

Prostheses List by Category, Groups and Sponsor	Page 300 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.5.5 Elbow joint, Total

Tornier Pty Ltd

TO012	Tornier Latitude Total Elbow Prosthesis	Humeral Spool, Humeral Stem, Ulnar 	Humeral Spool - (Small, 	$9,925.00

Medium, Large) (Anterior,

Posterior, Centered) (Left,

Right); Humeral Stem - (Small,

Medium, Large) (Left, Right);

Ulnar Stem - (Small, Medium,

6.6.2 Shoulder, glenoid component

6.6.2.4 Glenoid baseplate for glenosphere attachment

Johnson & Johnson Medical Pty Ltd

DP950	Delta Shoulder system	Standard Metaglene  INOX/ ST. Steel + 	One size only	$2,100.00

Aluminia+HAC

JJ562	DELTA Xtend	Metaglene	.	$2,096.00

HA coated

Johnson & Johnson Medical Pty Ltd

DP951	Delta Shoulder system	Revision Metaglene INOX/ ST. Steel + 	One size only	$2,508.00

Aluminia+HAC

6.6.3 Shoulder, humeral component

6.6.3.1.1 Shoulder, humeral component, cemented

Johnson & Johnson Medical Pty Ltd

DY273	Global FX Porocoat	FX PC Stem Standard / Long	6-12mm	$3,500.00	$4,298.00

JJ610	Global AP Shoulder	Humeral Stem	Humeral Stem 6mm, 8mm, 	$3,500.00

10mm, 12mm, 14mm, 16mm

Prostheses List by Category, Groups and Sponsor	Page 301 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.6.3.1.2 Shoulder, humeral component, uncemented

Johnson & Johnson Medical Pty Ltd

JJ612	Global AP Shoulder	Porocoat Coated Humeral Stem	Porocoat Coated Humeral Stem 	$3,500.00

6mm, 8mm, 10mm, 12mm,

14mm, 16mm

Revision

Johnson & Johnson Medical Pty Ltd

JJ563	DELTA Xtend	Revision Metaglene	.	$2,508.00

6.7.1 Trauma and general accessories

6.7.1.3.1 End Cap

titanium

Johnson & Johnson Medical Pty Ltd

DP366	Supacondylar Nail System	Solid End Cap Titanium Unsterile or Sterile	One size only	$57.00

6.7.1.3.2 Plug

LSS Surgical Pty Limited

LS064	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm	$270.00

Stryker Australia Pty Ltd

HW006	Stryker Cement Security System	PMMA Bone Plug	6 - 24mm	$268.00

Wright Medical Australia

WR054	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm	$270.00

Zimmer Pty Ltd

ZI188	Zimmer Bone Cement Systems	Poly Medullary Plug - PMMA	8 - 23 mm	$120.00

Prostheses List by Category, Groups and Sponsor	Page 302 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.7.10 Soft Tissue Fixation Devices

6.7.10.4 Other

Device Technologies Australia Pty Ltd

DE301	Suture Button	Multiple hole button for fixation of bone 	2.6mm - 7.5mm	$248.00

to bone or soft tissue to bone, and are

intended as fixation posts, a distribution

bridge, or for distributing suture tension

over areas of ligament or tendon repair

6.7.2 External Fixator

6.7.2.5 External Fixator, Screws and pins

Synthes Australia Pty Ltd

SY090	AO/ASIF K-Wires, Pins, Washers etc - 	Steinmann pins/schanz screws	2.5 - 5.0, length 60mm - 	$89.00

6.7.2.5.1 External Fixator, Set Screw

Johnson & Johnson Medical Pty Ltd

DY244	Ace External Fixator	GRUB screw ACE/FISCHER, titanium	5mm	$2.00	Temporary approval pending

review of product group in Feb

6.7.2.5.3 External Fixator, Bone Fixation Pin

Peg

Johnson & Johnson Medical Pty Ltd

DY246	Ace External Fixator	Peg, titanium	5mm	$81.00	Temporary approval pending

review of product group in Feb

skull Immobilisation

Johnson & Johnson Medical Pty Ltd

DY295	Bremer Halo Crown System	Titanium Skull Pins	Standard & Hi-Fix	$451.00

6.7.2.6.1 External Fixator, Olive wire

Johnson & Johnson Medical Pty Ltd

DY221	Ace External Fixator	Wire bayonet point - stainless steel	1.8mm	$41.00	Temporary approval pending

review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 303 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

packet of 3

Johnson & Johnson Medical Pty Ltd

DY220	Ace External Fixator	Olive wire bayonet point - stainless steel, 	1.5 or 1.8mm	$260.00	Temporary approval pending

packet of 3	review of product group in Feb

6.7.2.8.7.2 External Fixator, total system, Unspecified, medium

Stryker Australia Pty Ltd

SK396	Hoffman II External Fixation System	Hoffman II Compact Sterile Pre-Packs	Sterile Wrist Kit	$4,855.00	Temporary approval pending

review of product group in Feb

6.7.3.1 Internal Fixation, other Fixation

6.7.3.1.7.1 Cerclage Wire

Medical & Optical Instruments Australia Pty Ltd

MO196	Osteo Clage Cable System	Cerclage wire and sleeve	500mm	$435.00

6.7.3.2.1.1.1 Intramedullary Nail, femur

Cannulated

Synthes Australia Pty Ltd

SY123	AO/ASIF Intermedullary Nails	Femoral reamed, tibial nail	9 - 19mm , length 200 - 	$649.00

6.7.3.2.1.1.4 Intramedullary Nail, tibia

titanium

Biomet Australia Pty Ltd

BI286	Uniflex Tibial Nail	Tibial Nail, Titanium	8-14mm x 240-420mm	$950.00

6.7.3.2.1.4.5 Intramedullary Nail, non-specific anatomic site, 10 - 13 mm diameter

Device Technologies Australia Pty Ltd

DE061	Fixion Nailing System	Stainless Steel	18x 6.7mm - 440 x 12mm	$1,990.00

6.7.3.3.1.1.4 Internal Fixation Plate, Trochanteric

Johnson & Johnson Medical Pty Ltd

DP670	Small / Large Fragment Set S/S	Tronchanteric Support Plate	Small-Large	$503.00

Prostheses List by Category, Groups and Sponsor	Page 304 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.7.3.3.1.1.6 Internal Fixation Plate, fibula

Titanium

Johnson & Johnson Medical Pty Ltd

DP912	Periarticular Plating System	Fibula Composite Plate - Titanium  	11 Hole 	$397.00

DP913	Periarticular Plating System	Fibula Composite Plate - Titanium  	7 Hole 	$360.00

DP914	Periarticular Plating System	Fibula Composite Plate - Titanium  	9 Hole 	$383.00

6.7.3.3.1.1.9 Internal Fixation Plate, Metatarso phalangeal

Medical & Optical Instruments Australia Pty Ltd

MO191	Acumed Congruent Plate System	Metatarsal osteotomy plate - titanium	Right, left	$465.00

6.7.3.3.1.2.7 Internal Fixation Plate, wrist

LMT Surgical Pty Ltd

LM037	Trimed Bearing Plate	The Bearing Plate is a stainless Steel plate 	3 - 9 holes	$1,450.00

that has stainless Steel pegs and Screws

for Fixation

6.7.3.3.2 Internal Fixation Plate, general, small fragment

Titanium, compression, locking, More complex shape

Johnson & Johnson Medical Pty Ltd

JJ718	ALPS - Anatomic Locked Plating 	Titanium locking spider plates	Small - large and offset	$550.00

6.7.3.3.2.3 Internal Fixation Plate, general, small fragment, 11-20 holes

Titanium, compression, locking

Johnson & Johnson Medical Pty Ltd

JJ712	ALPS - Anatomic Locked Plating 	3.5MM Titanium LOCKING 	11-20  hole plates	$600.00

COMPRESSION PLATE

6.7.3.3.3.2 Internal Fixation Plate, general, large fragment, 5-10 holes

Johnson & Johnson Medical Pty Ltd

DP673	Small / Large Fragment Set S/S	SCS Plate Sterile	3-9 Hole	$631.00

Prostheses List by Category, Groups and Sponsor	Page 305 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.7.3.5.2.1 Soft tissue fixation, ACL

Smith & Nephew Surgical Pty Ltd

SN419	ACL/PCL Reconstruction	Aims Screws, Titanium	7-9mm diameter, 20 -25mm 	$165.00

6.7.3.5.4 Fixation screw, Break-off

Johnson & Johnson Medical Pty Ltd

DP882	Twistoff Screw	TwistOff Screw Titanium	11-14mm Long	$320.00

DY412	Hand and Foot Fracture Systems	FRS Screw	10mm to 34mm L x 2.5mm 	$309.00

Diameter

6.7.3.5.6 Fixation screw, compression

Medical & Optical Instruments Australia Pty Ltd

MO005	HBS Bone screw	Compression - standard, high	Length 10 - 30mm	$330.00

Cannulated

Synthes Australia Pty Ltd

SY322	AO/ASIF Screws	Headless Compression Screw 2.0mm - 	Short Thread 4-40mm; Long 	$196.00

Thread 4-40mm

6.7.3.5.7.1 Fixation screw, cortical or bone, otherwise unspecified, 4mm to 7 mm diameter

Advanced Surgical Design & Manufacture Ltd

AE087	Titan Plate & Screw System	Titan X Drive Screws	4 Screws	$304.00

Johnson & Johnson Medical Pty Ltd

DP665	Small / Large Fragment Set S/S	CHS Compression Screw - Stainless Steel	Neutral to +2	$35.00

Locking

Synthes Australia Pty Ltd

SY278	AO/ASIF Cortex Screws	Locking Head Screws	2.0mm 7.3mm	$180.00

titanium

Johnson & Johnson Medical Pty Ltd

DP338	Tibial Nail System 	Solid Cortical Titanium Screw Unsterile 	6.5mm x 20 -120mm	$130.00

or Sterile

Prostheses List by Category, Groups and Sponsor	Page 306 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP342	Femoral Nail System	Solid Cortical Screw Titanium Sterile or 	4.5 or 5.5mm x 20-80mm	$64.00

Unsterile

6.7.3.5.7.3 Fixation screw, cortical or bone, otherwise unspecified, < 4mm diameter

Johnson & Johnson Medical Pty Ltd

DP650	Small / Large  Fragment Set S/S	Cortical Screw - Stainless Steel	1.5 - 4mm x 22 - 44mm Length	$19.00

DP655	Small / Large  Fragment Set S/S	Cortical Self Tapping Screw	3.5 - 6.5mm; 6 - 110mm Length	$14.00

Medical & Optical Instruments Australia Pty Ltd

MO195	Acumed Congruent Plate System	Screw - titanium	2.7, 3.5, 4.0mm dia, 30 - 65 	$120.00	$147.00

MO273	Acumed Tap-Loc	Tap screws, Tap-Loc Screws	diameter 2.7mm - 3.5mm, 	$120.00	$160.00

length 36mm-60mm

Locking

Wright Medical Australia

WR059	Titanium Screw	Locking, non-locking or cannulated, for 	8-40mm, 2.7mm or 3.5mm	$90.00

use only with Darco titanium plates, self-

Zimmer Pty Ltd

ZI486	Zimmer Periarticular Locking Screws	Stainless Steel Periarticular Locking 	2.4mm, 2.7mm, 3.5mm, 	$170.00

screws to accompany Periarticular 	4.5mm, 5.5mm, and 8mm to

60mm in 2mm increments and

60mm to 100mm in 5mm

6.7.3.6.1.3 Cable System, Cable and Sleeve

Johnson & Johnson Medical Pty Ltd

DP364	Control Cable with Sleeve	Control Cable with sleeve 	One size only	$350.00

6.7.5 Orthopaedic reconstruction, general

Global Orthopaedic Technology

GO180	Actifuse Flow	Actifuse Flow	3ml	$1,080.00

GO181	Actifuse Flow	Actifuse Flow	5ml	$1,300.00

GO182	Actifuse Flow	Actifuse Flow	1.5ml	$1,080.00

Prostheses List by Category, Groups and Sponsor	Page 307 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GO183	Actifuse ABX MIS	Actifuse ABX MIS, Applicator and 	7.5ml	$2,300.00

Cartridge, 7.5ml

GO184	Actifuse ABX MIS	Actifuse ABX MIS, Refill Cartridge, 	7.5ml	$1,560.00

Surgiplas Medical

SP064	Osteovation	Calcium Phosphate Bone substitute kit, 	2-3cc	$1,080.00	$2,750.00

quick set, EX/Impact/Inject

SP065	Osteovation	Calcium Phosphate Bone sbustitute kit; 	5cc	$1,300.00	$3,200.00

Quick Set; EX/Impact/Inject

SP066	Osteovation	Calcium Phosphate Bone substitute kit; 	10cc	$2,300.00	$4,600.00

Quick Set; EX/Impact/Inject

6.7.5.1.2 Orthopaedic reconstruction, General, Bone cement, 50grams or less

Global Manufacturing Technology Pty Ltd

GM009	C-ment1, C-ment 3, Genta C-ment , 	Acrylic Bone Cement	40 grams	$215.00	$240.00

Genta C-ment 3

Heraeus Kulzer Australia Pty Ltd

HK003	Palamed	Single mix PMMA	40 grams	$174.00

HK005	Palacos or Palamed bone cement	Single mix PMMA	40g	$174.00

Johnson & Johnson Medical Pty Ltd

DP107	CMW Bone Cement	CMW Bone Cement Various  without 	20, 40 grams	$174.00

Antibiotic

JJ580	SmartSet HV High Viscosity Bone 	Methyl Methacrylate, Methly Acrylate 	40 Gram	$215.00

Copolymer Bone Cement

JJ581	SmartSet MV Endurance Medium 	PMMA, Styrene Copolymer Bone Cement	40 Gram	$137.00

Viscosity Bone Cement

Mathys Orthopaedics Pty Ltd

MA431	Cemfix	Acrylic bone cement for orthopaedic 	CEMFIX 1 Standard viscosity; 	$240.00

CEMFIX 2 Low viscosity

Orthotech Pty Ltd

OH126	Cemex bone cement	1 mix 	1 mix 40g powder and 13.3g 	$260.00

Methylmethacrylate/Polymethylmethacryl

Prostheses List by Category, Groups and Sponsor	Page 308 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN667	Versabond Bone Cement	Methyl Methacrylate Methyl Acrylate 	40g	$137.00

Copolymer, Methylmethacrylate

Homopolymer, Supplied as Powder

(copolymer) and liquid (monomer) in an

ampule

Stryker Australia Pty Ltd

HW322	Surgical Simplex P Radiopaque Bone 	Polymethyl Methacrylate, Styrene 	40 grams	$137.00

Cement	Copolymer, Barium Sulfate

SK181	Simplex Enhancement System	Simplex Express PrePack	2 dose Simplex Antibiotic with 	$184.00

Mixevac

SK458	Simplex P Speed Set Bone Cement	PMMA Bone Cement	40g pack	$200.00

Synthes Australia Pty Ltd

SY281	Norian®	Injectable Bone Cement	5cc	$1,745.00

SY331	Norian®	Fast Set Putty	5cc	$1,694.00

SY332	Norian®	Fast Set Putty	10cc	$2,420.00

William A Cook Australia Pty Ltd

WC145	Osteo-Firm	Osteo Bone cement - Osteo Firm	One size only	$170.00

10cc

Synthes Australia Pty Ltd

SY282	Norian®	Injectable Bone Cement	10cc	$2,493.00

Antibiotic

Biomet Australia Pty Ltd

BI243	Refobacin Plus Bone Cement	Bone Cement, Gentamicin, PMMA	40gm	$215.00

BI844	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, 	40 gm (2 x 20 gm)	$215.00

Gentamicin

Global Manufacturing Technology Pty Ltd

GM018	C-ment 1, C-ment 3, Genta C-ment, 	Acrylic Bone Cement with Gentamicin	40 grams	$215.00	$240.00

Genta C-ment 3

Heraeus Kulzer Australia Pty Ltd

HK004	Palamed G	Single Mix PMMA with with gentamicin	40 grams	$215.00

Johnson & Johnson Medical Pty Ltd

DP108	CMW Antibiotic Bone Cement 	CMW Bone Cement Various with 	20, 40 grams	$184.00

Prostheses List by Category, Groups and Sponsor	Page 309 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ577	SmartSet GMV Endurance Medium 	PMMA, Styrene Copolymer Bone Cement	40 Gram	$215.00

Viscosity Antibiotic Bone Cement	 With Gentamicin

JJ578	SmartSet GHV High Viscosity Antibiotic	Methyl Methacrylate, Methyl Acrylate  	40 Gram	$229.00

Bone Cement	Copolymer Bone Cement With

Orthotech Pty Ltd

OH127	Cemex-genta bone cement	1 mix Methylmethacrylate/ 	1 mix 40g powder and 13.3g 	$350.00

Polymethylmethacrylate with gentamiacin

Stryker Australia Pty Ltd

HW320	Antibiotic Simplex Bone Cement with 	Polymethyl Methacrylate, Styrene 	40 grams	$215.00

Tobramycin	Copolymer, Barium Sulfate

6.7.5.1.4 Orthopaedic reconstruction, General, Bone cement, standard, 80cc or 80grams or

Johnson & Johnson Medical Pty Ltd

DP446	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with 	50, 80 grams	$484.00

Non - Antibiotic Bone Cement

JJ582	SmartMix Cemvac Prefilled Syringe & 	SmartMix Vacuum Mixing System 	60g to 100g	$484.00

SmartMix Prefilled Bowl	Preloaded With Non Antibiotic Bone

Antibiotic

Biomet Australia Pty Ltd

BI845	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, 	80 gm (2 x 40 gm)	$275.00

Gentamicin

Johnson & Johnson Medical Pty Ltd

JJ583	SmartMix Cemvac Perfilled Syringe & 	SmartMix Vacuum Mixing System 	60g to 100g	$500.00

SmartMix Prefilled Bowl With Antibiotic	Preloaded With Antibiotic Bone Cement

Cement

Antibiotic, pre-loaded

Johnson & Johnson Medical Pty Ltd

DP445	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with 	50, 80 grams	$500.00

Antibiotic Bone Cement

6.7.5.2 Bone Substitute

Austspine Pty Ltd

AJ034	Jectos 20cc	Injectible synthetic bone graft substitute	20cc	$1,600.00

Prostheses List by Category, Groups and Sponsor	Page 310 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medartis

EO051	ENGlpore	Granules (size 1,0-2,5 mm) 15 cc           	Granules (size 1,0-2,5 mm) 15 	$980.00

Granules (size 2,5-4,0 	cc

mm) 15 cc	Granules (size 2,5-4,0 mm) 15 cc

EO052	SINTlife	Nanostructured Paste/putty in syringe    	5 cc	$1,300.00

EO054	SINTlife	Nanostructured Paste/putty in syringe   	10 cc	$2,300.00

EO055	ENGlpore	Granules (size 1,0-2, 5 mm) 5 cc            	Granules (size 1,0-2, 5 mm) 5 	$590.00

Granules (size 2, 5-4, 0 	cc

mm)5 cc	Granules (size 2, 5-4, 0 mm)5

Medtronic Australasia Pty Ltd

MC853	Nanostim	Synthetic Bone Paste	1cc	$832.00

MC854	Nanostim	Synthetic Bone Paste	2cc	$1,080.00

MC855	Nanostim	Synthetic Bone Paste	5cc	$1,300.00

MC856	Nanostim	Synthetic Bone Paste	10cc	$2,300.00

6.7.5.2.1 Bone Substitute, < = 1 gram or 1cc

Orthotech Pty Ltd

OH003	Pro-Osteon Implants 500	Granules	10mm x 10mm x 10mm (1cc) 	$430.00

OH016	Pro-Osteon Implants 200	Block	0.8cc x 5 Syringes Grannules	$200.00

Synthes Australia Pty Ltd

SY004	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	1g	$174.00

Graft Substitute

Zimmer Pty Ltd

ZI192	Bone Graft Substitute	Triosite Granules (0.5 - 1.0 mm grain 	1 g Tube	$260.00

sizes)- HATCP

< = 0.5cc

Henry Schein/Halas Pty Ltd

HD001	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.25gm	$99.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

HD002	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.5gm	$170.00	$176.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 311 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LMA PacMed Pty Ltd

PM001	Perioglas: 	Bioglass granules	0.5cc	$85.00	$107.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY005	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	0.5g	$121.00

Graft Substitute

Zimmer Pty Ltd

ZI194	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 4 - 	10mm	$130.00

HATCP

ZI195	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 4 - 	20mm	$185.00

HATCP

ZI196	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 2 - 	10mm	$182.00

HATCP

ZI197	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 2 - 	20mm	$247.00

HATCP

6.7.5.2.2 Bone Substitute, >1cc or 1gm, to <= 5cc or 5gm

Global Manufacturing Technology Pty Ltd

GM037	Callos Bone Void filler	Calcium Phosphate	5cc	$1,400.00

Global Orthopaedic Technology

GO055	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based	4cc block	$1,000.00

bone matrix

GO060	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based	4cc block	$1,200.00

bone matrix

GO064	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based	4cc block	$1,200.00

bone matrix

GO162	Actifuse ABX Easyfill Putty	Actifuse ABX Easyfill Putty - A silicate 	5ml	$1,300.00	$1,540.00

substituted synthetic bone graft

Johnson & Johnson Medical Pty Ltd

DP447	Biosel 2	BIOSEL II Dose 5G (Calcium Phosphates)	5g	$695.00

Lifehealthcare Pty Ltd

LH351	Kainos	Granules	1x5cm3	$590.00

LH357	Kainos	Blocks	4-8x13x14	$760.00

Prostheses List by Category, Groups and Sponsor	Page 312 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LMT Surgical Pty Ltd

LM091	FixEx Bone Cement	Calcium Phosphate Bone Cement	5cc	$1,200.00

Medartis

EO041	EUROBONE - Synthetic Bone Substitute	EUROBONE	5cc	$1,500.00

Medtronic Australasia Pty Ltd

MC669	BCP	Biphasic Calcium Phosphate Reabsorbable	5cc	$936.00

Graft Supplement

Orthotech Pty Ltd

OH004	Pro-Osteon Implants 500	Granules	10mm x 10mm x 40mm (4cc) 	$1,325.00

OH055	Pro Osteon Implants 200	Granules, Porous Hydroxyapatite Bone 	5cc Syringe	$280.00

Void Filler

Stryker Australia Pty Ltd

SK191	VITOSS - Synthetic Cancellous bone 	Beta-tricalcium phosphate	5cc morsels	$588.00

void filler

SK466	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	5cc Foam strip (25x50x4)	$1,578.00

Synthetic Cancellous Boane Void Filler	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

SK478	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	5cc Foam Pack	$1,579.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

SK480	HydroSet Injectable Calcium Phosphate 	Injectable, rapid set, calcium phosphate 	5cc	$3,200.00

Cement	bone substitute  kit

Surgical Specialties

SQ039	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	5ml	$590.00

Synthes Australia Pty Ltd

SY003	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	5g	$577.00

Graft Substitute

SY358	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	F1, 2, 3, 4, 5 & C1, 2, 3, 4, 5	$550.00

Graft Substitute-Cervios Cylinder

SY450	chronOS ß-TCP	Porous  ß-Tricalcium Phosphate Bone 	50 mm x25 mm x 3 mm	$1,185.00

Graft Substitute & Resorbable Polymer -

Wright Medical Australia

WR014	OSTEOSET - BVT KIT (STANDARD 	Mini Bead Kit	5cc Standard/Fast Cure	$840.00

CURE, FAST CURE)

Prostheses List by Category, Groups and Sponsor	Page 313 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WR016	Osteoset Bone Void Filler	Calcium Sulphate	3mm & 4.8mm Pellets 5cc	$735.00

WR018	Osteoset Bone Void Filler	Calcium Sulphate	4.8mm Syringe 5cc	$735.00

WR019	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void 	5cc	$1,795.00

Filler, Includes Syringe

Zimmer Pty Ltd

ZI193	Bone Graft Substitute	Triosite Granules (2 - 3mm grain size) - 	5g Tube	$670.00

HATCP

ZI198	Bone Graft Substitute	Triosite Oesteotomy Wedges - HATCP	6 - 12mm	$745.00

< = 3cc

Device Technologies Australia Pty Ltd

DE130	MBCP	Micro & Macroporous Biphasic Calcium 	0.5 - 3mm (1- 2cc)	$255.00

Phosphate, composition - ceramic

consituting calcium phosphate

hydroxyapatic 60% and tricalcium

phosphate beta (TCP) 40%, granules

Global Orthopaedic Technology

GO161	Actifuse ABX Easyfill	Actifuse ABX Easyfill - A silicate 	1.5mL to 4mL	$1,080.00	$1,200.00

substituted synthetic bone graft

Henry Schein/Halas Pty Ltd

HD003	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	2.0gm	$529.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Lifehealthcare Pty Ltd

LH349	Kainos	Granules	1 x 2cm3	$265.00

LH350	Kainos	Granules	1 x 3cm3	$385.00

Medtronic Australasia Pty Ltd

MC415	BCP	Biphasic Calcium Phosphate Reabsorbable	1-3cc	$832.00

Graft Supplement

Orthotech Pty Ltd

OH014	Pro-Osteon Implants 200	Block	20 x 15 x 10mm Block	$825.00

Stryker Australia Pty Ltd

SK476	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	1.2cc Foam Pack	$500.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen

Prostheses List by Category, Groups and Sponsor	Page 314 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK477	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	2.5cc Foam Pack	$850.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen

SR061	HydroSet Injectable Calcium Phosphate 	Injectable, rapid set, calcium phosphate 	3cc	$2,750.00

Cement	bone substitute kit

Surgical Specialties

SQ038	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	2.5ml	$430.00

Synthes Australia Pty Ltd

SY333	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	2.5cc	$400.00

Graft Substitute

Wright Medical Australia

WR017	Osteoset Bone Void Filler	Calcium Sulphate	3mm Syringe 1.25cc	$566.00

< = 3cc, carboxymethylcellulose putty additive

Surgical Specialties

SQ041	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	2.5-3ml	$860.00

carboxymethylcellulose putty additive

Stryker Australia Pty Ltd

SR047	Calstrux	Porous tri-calcium phosphate granules 	5cc	$1,578.00

and carboxymethylcellulose, sodium

(CMC) putty additive

Surgical Specialties

SQ042	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	5ml	$1,230.00

formed

Stryker Australia Pty Ltd

SK472	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	Small Cylinders Diameter 	$1,578.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP) 	10x30mm 4.8cc/pair (2)

and Type I bovine collagen

6.7.5.2.3 Bone Substitute, >5cc or 5gm, <=12cc or 12gm

Biomet Australia Pty Ltd

BI936	GPS Bone Biologics	TCP Granules/GPS, TCP	10ml	$1,936.00

BI946	Calcibon	Granules or paste, TCP	10cc	$1,080.00

Prostheses List by Category, Groups and Sponsor	Page 315 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Device Technologies Australia Pty Ltd

DE082	Hatric Bone Substitute	Ceramic	7mm - 15mm	$1,560.00

DE135	MBCP	Micro & Macroporous Biphasic Calcium 	1- 3mm (10cc)	$510.00

Phosphate, composition - ceramic

consituting calcium phosphate

hydroxyapatic 60% and tricalcium

phosphate beta (TCP) 40%, granules

DE138	MBCP	Micro & Macroporous Biphasic Calcium 	5-12mm to 15 - 13mm	$615.00

Phosphate, composition - ceramic

consituting calcium phosphate

hydroxyapatic 60% and tricalcium

phosphate beta (TCP) 40%, granules

Global Manufacturing Technology Pty Ltd

GM036	Callos Bone Void Filler	Calcium Phosphate	10cc	$2,050.00

Global Orthopaedic Technology

GO051	Actifuse	Actifuse Sterile, hydroxyapatite-based 	10ml, 2-5 & 5-10mm	$1,200.00

bone matrix

GO057	Actifuse	Actifuse Sterile, hydroxyapatite-based 	10ml, 2-5 & 5-10mm	$1,430.00

bone matrix

GO061	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based	10cc block	$1,300.00

bone matrix

GO062	Actifuse	Actifuse Sterile, hydroxyapatite-based 	10ml. 2-5mm	$1,000.00

bone matrix

GO065	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based	10cc block	$2,300.00

bone matrix

GO066	ApaPore	Actifuse. Sterile, hydroxyapatite-based 	 1-2ml to 10cc	$1,080.00	$1,200.00

bone matrix

GO163	Actifuse ABX Easyfill Putty	Actifuse ABX Easyfill Putty - A silicate 	10ml	$2,300.00

substituted synthetic bone graft

Lifehealthcare Pty Ltd

LH352	Kainos	Granules	1x6cm3	$650.00

LH353	Kainos	Granules	1x10cm3	$920.00

LMT Surgical Pty Ltd

LM067	Crossbone	Bone substitute wedges	6-15mm height	$1,430.00	$1,450.00

Prostheses List by Category, Groups and Sponsor	Page 316 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medartis

EO042	EUROBONE - Synthetic Bone Substitute	EUROBONE	10cc	$1,800.00

Medtronic Australasia Pty Ltd

MC670	BCP	Biphasic Calcium Phosphate Reabsorbable	10cc	$1,352.00

Graft Supplement

Orthotech Pty Ltd

OH005	Pro-Osteon Implants 500	Granules	10 x 20 x 50mm (10cc) Block	$2,540.00

OH008	Pro-Osteon Implants 500	Granules	10cc	$1,110.00

Stryker Australia Pty Ltd

SK184	VITOSS - Synthetic cancellous bone 	Beta-tricalcium phosphate	1.2cc dowel	$588.00

void filler

SK188	VITOSS - Synthetic cancellous bone 	Beta-tricalcium phosphate	10cc morsels and 10cc dowels	$1,250.00

void filler

SK189	CORTOSS - Synthetic cortical bone 	-	10cc CORTOSS kit	$1,535.00

void filler

SK467	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	10cc Foam strip (25x100x4)	$1,988.00

Synthetic Cancellous Bone Void Filler	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

SK468	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	10cc Foam strip (25x50x8)	$1,988.00

Synthetic Cancellous Bone Void Filler	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

SK479	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	10cc Foam Pack	$1,988.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen

SR054	HydroSet Injectable Calcium Phosphate	Injectable, rapid set, calcium phosphate 	10cc	$4,600.00

bone substitute kit

Surgical House

SU176	MBCP Wedge	Composition - 60% hydroxyapatite / 40%	MBCP Wedge - 6 degrees to 14 	$1,430.00

Ca3(PO4)2 To be used in combination 	degrees

with Surfix Opening Wedge HTO Plates

and screws/lock screws

Surgical Specialties

SQ040	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	10ml	$1,000.00

Prostheses List by Category, Groups and Sponsor	Page 317 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY002	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	10g	$1,080.00

Graft Substitute

SY451	chronOS ß-TCP	Porous ß-Tricalcium Phosphate Bone 	50-100 mm x25 mm x 3-6 mm	$1,490.00

Graft Substitute & Resorbable Polymer -

Wright Medical Australia

WR012	Osteoset	Calcium Sulphate	4.8mm pellets 10cc	$1,080.00

WR021	Osteoset T Pellets	Calcium sulphate with tobramycin	10cc	$1,490.00

WR039	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	7cc	$1,785.00

< = 0.5cc

Device Technologies Australia Pty Ltd

DE137	MBCP	Micro & Macroporous Biphasic Calcium 	5 x 5 x 10-20mm	$350.00

Phosphate, composition - ceramic

consituting calcium phosphate

hydroxyapatic 60% and tricalcium

carboxymethylcellulose putty additive

Stryker Australia Pty Ltd

SR048	Calstrux	Porous tri-calcium phosphategranules and	10cc	$1,988.00

carboxymethylcellulose, sodium (CMC)

putty additive

Surgical Specialties

SQ043	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	10ml	$2,050.00

formed

Stryker Australia Pty Ltd

SK470	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	Small Cup 52mm Diameter	$2,255.00

Synthetic Cancellous Bone Void Filler	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

SK471	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	Large Cup 56mm Diameter	$1,520.00

Synthetic Cancellous Bone Void Filler	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

SK473	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	Medium Cylinders Diameter 	$1,700.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP) 	12x30mm 6.8cc/pair (2)

and Type I bovine collagen.

Prostheses List by Category, Groups and Sponsor	Page 318 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK474	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	Large Cylinders Diameter 	$1,830.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP) 	14x30mm 9.2cc/pair (2)

and Type I bovine collagen.

6.7.5.2.4 Bone Substitute, >12cc or 12gm, <=17cc or 17gm

Device Technologies Australia Pty Ltd

DE136	MBCP	Micro & Macroporous Biphasic Calcium 	2-3mm (16cc)	$720.00

Phosphate, composition - ceramic

consituting calcium phosphate

hydroxyapatic 60% and tricalcium

phosphate beta (TCP) 40%, granules

Lifehealthcare Pty Ltd

LH354	Kainos	Granules	1x16cm3	$1,190.00

Stryker Australia Pty Ltd

SK185	VITOSS - Synthetic cancellous bone 	Beta-tricalcium phosphate	15cc morsels	$1,620.00

void filler

SK481	HydroSet injectable Calcium Phosphate 	Injectable, rapid set, calcium phosphate 	15cc	$6,900.00

Cement	bone substitute kit

Synthes Australia Pty Ltd

SY189	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	8.5, 9.5, 10.5, 12.5 & 14cm	$980.00

Graft Substitute-Cylinder

SY452	chronOS ß-TCP	Porous ß-Tricalcium Phosphate Bone 	100 mm x25 mm x 6mm	$2,400.00

Graft Substitute & Resorbable Polymer -

Wright Medical Australia

WR020	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void 	15cc	$2,730.00

Filler, Includes Syringe

carboxymethylcellulose putty additive

Stryker Australia Pty Ltd

SR049	Calstrux	Porous tri-calcium phosphate granules 	15cc	$2,255.00

and carboxymethylcellulose, sodiu,

(CMC) putty additive

needs to split Billing code

Wright Medical Australia

WR040	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	15cc & 20cc	$2,200.00

Prostheses List by Category, Groups and Sponsor	Page 319 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.7.5.2.5 Bone Substitute, >18cc or 18gm, <=25cc or 25gm

Biomet Australia Pty Ltd

BI937	GPS Bone Biologics	TCP Granules/GPS, TCP	20ml	$2,150.00

BI947	Calcibon	Granules or paste, TCP	20ml	$1,545.00

Global Orthopaedic Technology

GO052	Actifuse	Actifuse Sterile, hydroxyapatite-based 	20ml, 2-5 & 5-10ml	$2,300.00

bone matrix

GO058	Actifuse	Actifuse Sterile, hydroxyapatite-based 	20ml. 2-5 & 5-10mm	$1,779.00

bone matrix

GO063	Actifuse	Actifuse Sterile, hydroxyapatite-based 	20ml. 2-5mm	$1,550.00	$1,600.00

bone matrix

GO067	ApaPore	Actifuse. Sterile, hydroxyapatite-based 	20cc	$1,470.00	$2,400.00

bone matrix

Lifehealthcare Pty Ltd

LH355	Kainos	Granules	1x20cm3	$1,390.00

LMT Surgical Pty Ltd

LM092	FixEx Bone Cement	Calcium Phosphate Bone Cement	20cc	$2,300.00

Medartis

EO043	EUROBONE - Synthetic Bone Substitute	EUROBONE	20cc	$2,400.00

Orthotech Pty Ltd

OH010	Pro-Osteon Implants 500	Granules	20cc	$1,600.00

OH019	Bone Plast Bone Void Filler	Powder	20cc	$1,903.00

Stryker Australia Pty Ltd

SK186	VITOSS - Synthetic cancellous bone 	Beta-tricalcium phosphate	20cc dowel	$1,620.00

void filler

SK469	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	20cc Foam strip (25x100x8)	$2,256.00

Synthetic Cancellous Bone Void Filler	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

Synthes Australia Pty Ltd

SY001	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	20g	$1,545.00

Graft Substitute

Prostheses List by Category, Groups and Sponsor	Page 320 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY176	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	Small, Medium, Large	$1,762.00

Graft Substitute-Wedge

SY177	chronOS™ β-TCP	Porous β-Tricalcium Phosphate Bone 	Small, Medium, Large	$1,643.00

Graft Substitute-Block

Wright Medical Australia

WR011	Osteoset BVF Kit	Kit contains calcium sulfate, diluent, 	25cc only	$1,970.00

mould, spatula and mixing bowl

WR013	Osteoset T Pellets	Calcium sulphate with tobramycin	20cc	$1,800.00

WR015	Osteoset Pellets - Bone Graft Substitute	Calcium Sulphate	4.8mm Pellets 20cc	$1,470.00

6.7.5.2.6 Bone Substitute, >26cc or 26gm

Biomet Australia Pty Ltd

BI938	GPS Bone Biologics	TCP Granules/GPS, TCP	50ml	$3,980.00

BI948	Calcibon	Granules or paste, TCP	50ml	$3,000.00

Global Orthopaedic Technology

GO054	Actifuse	Actifuse Sterile, hydroxyapatite-based 	High Volume Grafting Kit. 2-5 &	$4,500.00

bone matrix	 5-10mm

GO059	Actifuse	Actifuse Sterile, hydroxyapatite-based 	High Volume Grafting Kit. 2-5 &	$4,500.00

bone matrix	 5-10mm

GO068	Actifuse	Actifuse Sterile, hydroxyapatite-based 	High Volume Grafting Kit. 2-5 &	$4,500.00

bone matrix	 5-10mm

Lifehealthcare Pty Ltd

LH356	Kainos	Granules	1x30cm3	$1,700.00

Stryker Australia Pty Ltd

SK187	VITOSS - Synthetic cancellous bone 	Beta-tricalcium phosphate	30cc morsels and 30cc dowels	$2,670.00

void filler

SK475	VITOSS Foam - Compression Resistant	Highly porous bone graft material made 	Sheet (Wide Strip) 	$3,000.00

Synthetic Cancellous Bone Void Filler.	from beta-tricalcium phosphate (β-TCP)

and Type I bovine collagen.

ST021	Stryker Bone Substitute	Bonesave, Calcium Phosphate	40gms, sizes 2 - 4 and  4-6mm	$1,750.00

Prostheses List by Category, Groups and Sponsor	Page 321 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.7.5.3 Osteogenic material

Medtronic Australasia Pty Ltd

MC806	Infuse Bone Graft	Recombinant human bone morphogenetic	Extra Small 1.4mg	$1,500.00	$2,400.00	Temporary approval pending

protein rhBMP-2	review of listing criteria

MC807	Infuse Bone Graft	Recombinant human bone morphogenetic	Mini 0.7mg	$750.00	$1,200.00	Temporary approval pending

protein rhBMP-2	review of listing criteria

MC808	Infuse Bone Graft	Recombinant human bone morphogenetic	Small 4.2mg	$3,200.00	Temporary approval pending

protein rhBMP-2	review of listing criteria

Large

Medtronic Australasia Pty Ltd

MC683	Infuse Bone Graft	Recombinant human Bone Morphogenetic	Medium 8.4mg	$6,000.00	Temporary approval pending

Protein rhBMP-2	review of listing criteria

MC684	Infuse Bone Graft	Recombinant human Bone Morphogenetic	Large 12mg	$6,400.00	Temporary approval pending

Protein rhBMP-2	review of listing criteria

Stryker Australia Pty Ltd

ST865	OP-1 Implant - Osteogenic Protein 1, 	Osteoinductive and osteoconductive bone	1 vial	$6,400.00

graft substitute

6.7.7 Limb preservation, resection and lengthening systems

Johnson & Johnson Medical Pty Ltd

DY217	Limb Preservation System	Intercalary Segment Component 	55mm	$7,288.00

(Male/Female)

6.7.7.2.1 Limb preservation and lengthening, femoral stem / body

Johnson & Johnson Medical Pty Ltd

DY189	Limb Preservation System	LPS Diaphyseal Stem, Cemented, Bowed,	11mm - 17mm diameter x 150 - 	$7,230.00

with 2cm Beaded Collar	200mm length

DY193	Limb Preservation System	LPS Diaphyseal Stem, Cemented, 	9mm - 17mm diameter, 100 - 	$4,550.00

Straight, with 2cm Beaded Collar	125mm length

Prostheses List by Category, Groups and Sponsor	Page 322 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

porous coating

Johnson & Johnson Medical Pty Ltd

DY190	Limb Preservation System	LPS Diaphyseal Stem Fully Beaded, 	Porocoat 12.5mm - 18.5mm 	$7,220.00

Bowed, with 2cm Beaded Collar	diameter x 150mm - 200mm

DY194	Limb Preservation System	LPS Diaphyseal Stem Fully Beaded, 	Porocoat 10.5mm - 18.5mm 	$4,875.00

Straight, with 2cm Beaded Collar	diameter x 100mm - 125mm

6.7.7.2.2 Limb preservation and lengthening, proximal femur

cementless

Johnson & Johnson Medical Pty Ltd

DY187	Limb Preservation System	Beaded, 'Porocoat' Standard & 	Neutral, 15deg Left & Right in 	$6,990.00

Trochanter Replacement	both styles

6.7.7.2.3 Limb preservation and lengthening, distal femur

cementless

Johnson & Johnson Medical Pty Ltd

DY188	Limb Preservation System	Distal Femoral Replacement Component 	XX Small and X Small	$15,300.00

Left/Right

6.7.7.2.6 Limb preservation and lengthening, tibial replacement component

cementless

Johnson & Johnson Medical Pty Ltd

DY195	Limb Preservation System	Tibial Replacement Component	XX Small - Med	$8,645.00

6.7.7.2.8 Limb preservation and lengthening, tibial insert

Johnson & Johnson Medical Pty Ltd

DY196	Limb Preservation System	Tibial Hinge Insert	XX Small - Large, 12 - 31mm	$7,288.00

6.7.7.3.3 Limb preservation, resection and lengthening systems, adaptor

Johnson & Johnson Medical Pty Ltd

DY191	Limb Preservation System	Total Femoral Segment Component 	55 mm Length	$1,700.00

(Male/Male)

DY192	Limb Preservation System	Segmental Component (Male/Male)	25 to 125mm Length	$1,825.00

Prostheses List by Category, Groups and Sponsor	Page 323 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Bone matrix implant, artificial

Austspine Pty Ltd

AJ005	Kasios TCP	TCP Bone graft substitute Granules	5cc	$1,000.00

AJ006	Kasios TCP	TCP Bone graft substitute Granules	10cc	$1,340.00

AJ007	JectOS	Injectable synthetic bone graft substitute	5cc	$1,000.00	$1,500.00

AJ008	JectOS 10cc	Injectable synthetic bone graft substitute	10cc	$1,340.00	$1,800.00

Global Orthopaedic Technology

GO177	ACTIFUSE ABX Putty	Actifuse AVX Putty - A silicated 	20ml	$4,600.00

substituted synthetic bone graft.

Bone matrix implant, biological

Advanced Surgical Design & Manufacture Ltd

AE100	Orthoss - Bone implant material	Orthoss Chips 3-4mm Spongiosa. Bone 	(Granule Size 3-4mm)  Packs 3-	$2,100.00

Implant material, biological, animal source.	7g (=approx. 8-20ccm)

AE101	Orthoss - Bone implant material	Orthoss Micro Chips 1-2mm Spongiosa. 	(Granule Size 1-2mm) 5g (= 	$1,800.00

Bone Implant material, biological, animal 	approx. 13ccm)

source.

AE102	Orthoss - Bone implant material	Orthoss Spongiosa Block. Bone Implant 	2 x 2 x 1.3cm (approx. 3.6g)	$1,400.00

material, biological, animal source.

AE103	Orthoss - Bone implant material	Orthoss Spongiosa Block. Bone Implant 	1 x 1x 2 approx. 1.6g	$700.00

material, biological, animal source.

Bone Matrix Implants, Artificial

Johnson & Johnson Medical Pty Ltd

DY353	Conduit TCP	Bone matrix implant	10cc	$1,980.00

DY354	Conduit TCP	Bone matrix implant	15cc	$2,390.00

DY355	Conduit TCP	Bone matrix implant	30cc	$3,340.00

DY361	Conduit TCP	Conduit Blocks	10 x 10 x 10mm to 25 x 25 x 	$1,882.00

Prostheses List by Category, Groups and Sponsor	Page 324 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY362	Conduit TCP	Conduit Cylinder	H8 - 20 x D10 - 20mm	$1,957.00

DY363	Conduit TCP	Conduit Wedge	H6-18 x D15 x L15	$2,195.00

DY427	Conduit TCP	Bone matrix implant	5cc	$1,570.00

Cement, Orthopaedic

Heraeus Kulzer Australia Pty Ltd

HK006	Palacos or Palamed Bone Cement with 	Single Mix PMMA with Gentamicin	40 grams	$215.00

Gentamicin

HK007	Palacos or Palamed Bone Cement with 	Single Mix PMMA with Gentamicin	20 grams	$110.00	$160.00

Gentamicin

Fixation Device

Lifehealthcare Pty Ltd

LH439	The Radius Plating System - Screws	The Radius System - 2.7-3.0mm diameter	2.7-3.0mm diameter screws, 8-	$140.00

Locking anchor, cancellous, bone 	38mm length.

LH442	The Radius Plating System - Locking 	Distal radius plate system	Fracture plates volar and dorsal 	$1,675.00

2.0mm thickness, left and right

of short and long.

Fixation Device, Internal, Plate

Lifehealthcare Pty Ltd

LH441	CONTOUR Hand	Contour Hand - Plates	XS / S / M / L; straight plate 4-	$670.00

16 hole; Z plate, Y plate, T plate,

L plate 5-9 hole; Straight plate,

T plate with stabilizers 5-6 hole;

Square, Grid-rectangular plate 4-

8 hole; Straight, T, Y

Compression Plate 4-7 hole;

Condylar plate w/out stabilizer 5

Prostheses List by Category, Groups and Sponsor	Page 325 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Fixation Device, Internal, Screw

Lifehealthcare Pty Ltd

LH440	CONTOUR Hand Screws	Screws	1.2, 1.7 and 2.3mm in diameter 	$67.00

screws ranging between 4 and

24 mm in length.

Grafts, Bone

Zimmer Pty Ltd

ZI265	Continuum hip system	Hedrocel AVN Rod	3mm - 12mm block	$3,208.00

ZI270	Hedrocel block	Hedrocel tantulum	2 x 4 x 4mm	$3,833.00

ZI272	Hedrocel cylinder	Hedrocel tantulum	10mm long	$2,787.00

Group 1- Fixation: Bone Screw

Group 1a - Bone Screw, Monoaxial

Zimmer Pty Ltd

ZI513	Optima Spinal System - Monoaxial 	Monoaxial Pedicle screw system	Dia 4-8mm, length 20-60mm	$930.00

Pedicle Screw System

4 - Closed

Surgical House

SU209	Plus Spinal Fixation System - Pedicle 	Titanium, mono-axial pedicle screws for 	Diameter 4.5mm, Length 	$930.00

Screws	attachment to PLUS 6mm diameter rods 	20mm-45mm

to form a multi-level spinal fixation 	Diameter 5.5mm, Length

20mm-50mm             Diameter

6.5mm, Length 25mm-60mm

Diameter 7.5mm, Length

25mm-90mm              Diameter

8.5mm, Length 30mm-90mm

Prostheses List by Category, Groups and Sponsor	Page 326 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1b - Bone Screw, Polyaxial

Surgical House

SU217	PLUS Spinal Fixation System - Multi-	Titanium, multi-axial (variable angle) 	Diameter 4.5mm, Length 	$1,330.00

Axial Pedicle Screws	pedicle screws for attachment to PLUS 	20mm-45mm         Diameter

6mm diameter rods to form a multi-level 	5.5mm, Length 20mm-50mm

spinal fixation construct	       Diameter 6.5mm, Length

25mm-60mm           Diameter

7.5mm, Length 25mm-90mm

Diameter 8.5mm, Length

30mm-90mm

Group 1c - Bone Screw, Standard

Johnson & Johnson Medical Pty Ltd

DY478	Uniplate ACP System	Rescue Screw	12-18mm	$200.00	$539.00

DY479	Uniplate ACP System	Primary Screw	12-18mm	$200.00	$372.00

JJ512	Skyline Cervical Plate System	Skyline anterior cervical screw, titanium	Self drilling 3.8mm, 10-18mm	$200.00	$539.00

JJ513	Skyline Cervical Plate System	Skyline anterior cervical screw. Titanium	Self tapping 3.8mm, 10-26mm	$200.00	$539.00

JJ514	Skyline Cervical Plate System	Skyline anterior cervical screw.  Titanium	Self Tapping 4.3mm, 10-18mm	$200.00	$539.00

JJ515	Skyline Cervical Plate System	Skyline anterior cervical screw.  Titanium	Bi-cortical 10-18mm	$200.00	$539.00

JJ519	AEGIS ALP	AEGIS ALP Bone Screws, Titanium	4mm x 24-36mm	$250.00	$559.00

JJ528	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self Drilling 3.8mm 10 - 18mm	$200.00	$539.00

JJ529	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self-Tapping 3.8mm 10-18mm	$200.00	$539.00

JJ530	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self Tapping 4.3mm 10 - 18mm	$200.00	$539.00

JJ531	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self drilling 4.3mm 10 - 18mm	$200.00	$539.00

Surgical House

SU212	PLUS Spinal Fixation System - Sacral 	Titanium bone screws used for fixation 	Diameter 6.5mm, Length 30-	$250.00

Screws	of PLUS 6mm rods to the sacrum via

PLUS sacral connectors

1 - System

Surgical House

SU225	Uni-Thread Screw	Titanium pedicle screw.  Fully or partially	Diameter 5.5mm-8.5mm, 	$600.00

threaded.	Length 28mm-58mm

Prostheses List by Category, Groups and Sponsor	Page 327 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 12 - Spacer: Interbody/Fusion Cage

Group 12b - Interbody / Fusion Cage, No Integral Fixation

Health Care Surgical Pty Ltd

HC005	Swingo	Lumbar Cage	7-14mm	$3,000.00

Surgical House

SU224	Spacevision TLIF Cage	PEEK Optima	7mm-16mm	$2,503.00

1 - Paired

Surgical House

SU223	Spacevision PLIF Cage	PEEK Optima o to 8 degrees lordosis	Height 7-14mm, Length 21-25mm	$3,000.00

Group 16 - Replacement: Vertebral Body

Group 16e - Vertebral Body, Mesh

Johnson & Johnson Medical Pty Ltd

DP427	Surgical Titanium Mesh System	Mesh - Curved or Long/Oval	14mm  x 130mm or 17 - 22 x 	$3,605.00	$6,072.00

22 - 28mm x 50 - 150mm Hgt

DP438	Surgical Titanium Mesh System	Mesh  - Oblong	12 - 13 x 15 -17mm x 10 - 20mm	$3,605.00	$6,325.00

Scient'x Australia

SX022	Bioscorp	Bioresorbable corpectomy implant	Diameter: 10-12mm, Length; 	$3,800.00

30-70mm

Group 16f - Vertebral Body, Mesh - End Plate

Johnson & Johnson Medical Pty Ltd

DY087	Surgical Titanium Mesh System	End Plate or Screws or End Cap (Round /	17-22mm x 22-33mm	$250.00

Oblong / Trapezoidal)

DY088	Surgical Titanium Mesh System	Rings (Standard and Angled)	17-26mm x 22-33mm	$1,325.00

Group 17 - Bone Graft: Bone Substitute

Group 17c - Bone Substitute, Non-Resorbable - Non-Structural

Johnson & Johnson Medical Pty Ltd

DY097	Vetebrplastic Cement	Vetebrplastic cement	One size only	$230.00

Prostheses List by Category, Groups and Sponsor	Page 328 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

1 - with Simple Kit

Cardinal Health

CI002	AVAmax Plus	Radiopaque bone cement system	11G & 13G	$540.00	$1,100.00

CI003	AVAmax	Radiopaque bone cement system	11G & 13G	$540.00

William A Cook Australia Pty Ltd

WC135	Vertebroplasty Procedure Pack	Percutaneous Vertebroplasty set with 	11/13 Gauge 10/15CM M1, 	$540.00

Osteo-Site needle and bone cement	M1M, M2

Group 2 - Fixation: Coupling

a - Nut

Johnson & Johnson Medical Pty Ltd

DP058	Isola System (Stainless Steel)	Modular Cross Connector Hex Nut	One size only	$177.00

DP074	Isola System (Titanium)	Modular Cross Connector Hex Nut	One size only	$177.00

DY098	Moss Miami  (Titanium)	Pin Nut	One size only	$177.00

b - Set Screw / Locking Screw

Johnson & Johnson Medical Pty Ltd

JJ524	VIPER Spine System	Viper Single Innie Set Screw	One size	$170.00	$370.00

Lifehealthcare Pty Ltd

LH456	DSS Fusion Coupler Set Screw	The DSS Fusion Coupler set screw locks	DIA700-04 for 20mm - 22mm 	$170.00

the telescoping fusion couplers rigidly in 	fusion coupler

place. This set screw can only be used 	DIA70022-04 for 22mm -

for this purpose, is used every case and 	25mm / 25mm - 31mm / 31mm

can not be used for any other purpose.	- 43mm fusion couplers

Surgical House

SU220	PLUS Spinal Fixation System - Set 	Titanium set screws used to secure PLUS	Regular, Spherical	$170.00

system clips to PLUS system pedicle

screws and hooks and to tighten PLUS

system connectors against 6mm rods. All

clips and connectors are supplied with

set screws pre-loaded. Separate set

screws are only required fo

Zimmer Pty Ltd

ZI511	Optima Spinal System - Set Screw	Screw set	One size only	$170.00	$333.00

Prostheses List by Category, Groups and Sponsor	Page 329 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

d - Cap / Cover Plate, C - Complex

Surgical House

SU211	PLUS Spinal Fixation System - Clip	Titanium clip that fits over the head of the	one size	$605.00

PLUS system pedicle screws to secure a

6mm rod to the screw. Clip incorporates

a set screw which tightens the clip

firmly against the rod/pedicle screw.

e - Block / Clamp / Screw head

Johnson & Johnson Medical Pty Ltd

DP072	Isola System (Titanium)	Modular Cross Connector  J-Hooks	1/4 & 3/16"	$400.00

DP073	Isola System (Titanium)	Modular Cross Connector Plates	0 - 70mm	$400.00	$569.00

Surgical House

SU216	PLUS Spinal Fixation System - MATC	Titanium clamp, fitted to a 6mm PLUS 	One size each of fixed angle 	$760.00

longitudinal rod that fixes a short 	style and multi-axial angle style

transverse support rod between two

longitudinal rods as part of pedicle

screw/rod construct. Available in either

fixed angle or multi-axial angle. The use

e - Block / Clamp / Screw Head, C - Complex

Surgical House

SU226	Uni-Thread Connector	Titanium pedicle screw/rod connector.  	6.5mm-7.5mm	$760.00

Standard, offset or reduction

f - Other

Johnson & Johnson Medical Pty Ltd

DP075	Isola System (Stainless Steel)	Modular Cross Connector Plates	0 - 70mm	$400.00	$569.00

DP076	Isola System (Stainless Steel)	Modular Cross Connector J-Hooks	1/4 & 3/16"	$400.00

Surgical House

SU215	PLUS Spinal Fixation System - MATC 	Titanium, 6mm diameter rods of various 	Double Spherical Ends: Diameter	$400.00

lengths for transverse fixation between 2 	 6mm, Length 20mm-65mm

PLUS system longitudinal rods as part of

a multi-level spinal fixation construct. 	          Single Spherical End: One

Available with one spherical end or two 	 size

for fixation to fixed angle MATC

connectors or multi

Prostheses List by Category, Groups and Sponsor	Page 330 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 4 - Fixation: Connector

Group 4a - Connector, In-line

Surgical House

SU210	PLUS Spinal Fixation System - Rod 	Titanium blocks fitted with set screws 	one size each of: Dual Conector,	$760.00

Connectors	for longitudinal parallel joining of 2 PLUS 	 Small Dual Rod Connector,

system 6mm diameter rods	Open Dual Rod Connector

Group 4b - Connector, Offset

Johnson & Johnson Medical Pty Ltd

DY305	VSP System (Titanium)	Sacral Connector - Left & Right Offset	One size only	$760.00

Surgical House

SU214	PLUS Spinal Fixation System - Lateral 	Single piece titanium clamp fitted to the 	one size	$760.00

Connectors	end of a 30mm x 6mm rod. The short

rod section is fixed to the head of PLUS

system pedicle screw a 90 (degrees) to

the long axis of the spine. A 6mm

longitudinal rod can be fixed to the Lateral

Connector as part of pedicle screw/rod

SU218	PLUS Spinal Fixation System - Sacral 	Titanium connectors designed for the 	left and right	$760.00

Connectors	fixation of the distal end of PLUS 6mm

rods to PLUS bone screws placed into

Group 5 - Fixation: Hook

Group 5a - Hook, Open

Global Orthopaedic Technology

GO082	Nex-Link	Spinal Fixation System, Cervical Hooks	5 & 7mm	$820.00

Surgical House

SU219	PLUS Spinal Fixation System -Hooks	Titanium hooks of varying styles that are 	Pedicle Regular, Pedicle Small, 	$820.00

applied to the spina pedicles and lamina 	Laminar Regular, Laminar

and then attached to longitudinal PLUS 	Narrow, Laminar Angled,

system rods via PLUS system clips that 	Laminar Tall, Laminar Small,

fix the hooks to the rods	Laminar Regular Oblique,

Laminar Narrow Oblique,

Prostheses List by Category, Groups and Sponsor	Page 331 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI662	Nex-Link	Spinal Fixation System, Cervical Hooks	5 & 7mm	$820.00

Group 6 - Fixation: Plate

Group 6a - Plate, Integral Fixation

Johnson & Johnson Medical Pty Ltd

JJ793	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	12-55mm	$1,400.00	$1,800.00

1 - Cervical Plate > 55mm

Johnson & Johnson Medical Pty Ltd

JJ527	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	56-60mm	$1,800.00	$1,927.00

Group 6b - Plate, No Integral Fixation

B Braun Australia Pty Ltd

BB067	Caspar Cervical Plate	Titanium and Steel	24mm-90mm	$1,300.00	$1,600.00

Johnson & Johnson Medical Pty Ltd

DP051	VSP System (Titanium)	VSP Bone Plate	One - Two Slot	$1,670.00

DP052	VSP System (Titanium)	VSP Bone Plate	Two ½ - Three ½ or Four - 	$1,670.00

Five Slot

DY123	VSP System (Stainless Steel)	VSP Bone Plate	One-Two Slot	$1,670.00

DY124	VSP System (Stainless Steel)	VSP Bone Plate	Two 1/2-Three 1/2 Slot	$1,670.00

DY125	VSP System (Stainless Steel)	VSP Bone Plate	Four-Five Slot	$1,670.00

Scient'x Australia

SX023	Aladyn-Plate	Rigid Plate	Length: 38-76mm	$2,200.00

Synthes Australia Pty Ltd

SY457	Cervical Spine Locking Plate (CSLP) 	Small Stature Plate	≤55	$1,300.00	$1,600.00

System

1 - Cervical Plate > 55mm

Synthes Australia Pty Ltd

SY456	Cervical Spine Locking Plate (CSLP) 	Small Stature Plate	>55	$1,700.00	$2,000.00

System

Prostheses List by Category, Groups and Sponsor	Page 332 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 7 - Fixation: Rod

Group 7a - Rod, Standard

Global Orthopaedic Technology

GO083	Nex-Link	Spinal Fixation System, Spinal Rod	120 & 240mm	$443.00

Johnson & Johnson Medical Pty Ltd

JJ523	VIPER Spine System	Viper Pre-lordosed Rod, Titanium	35 - 70mm	$443.00

Orthotech Pty Ltd

OH203	Altius Occipito-Cervico-Thoracic 	Rod	8 to 24cm x 3.5mm Occipital 	$443.00	$750.00

(OCT) System	and  Curved Rod

Scient'x Australia

SX021	TTC-rod	Rigid Rod	Diameter:  3.5mm, Length: 10-	$443.00

200mm

Surgical House

SU213	PLUS Spinal Fixatin System - Rods	Titanium rods of various diameters, 	Hex rods, Rods and Stiff rods - 	$443.00

lengths and rigidity used to form multi-	Diameter 6mm, length 40mm,

level spinal fixation constructs	50mm, 60mm, 70mm, 80mm,

90mm, 100mm, 110mm,

120mm, 130mm, 140mm,

150mm, 160mm, 170mm,

180mm 190mm, 200mm,

210mm, 220mm, 230mm,

240mm, 250mm, 260mm,

270mm, 280mm, 290mm,

300mm, 310mm, 320mm,

Zimmer Pty Ltd

ZI512	Optima Spinal System - Rod	Rod	Dia 5-7mm, length 40-400mm	$443.00

ZI663	Nex-Link	Spinal Fixation System, Spinal Rod	120 & 240mm	$443.00

Group 7d - Rod, Dual Unit

Surgical House

SU227	Olerud Cervical System, U - Rods	Titanium alloy, Preformed	40mm - 120mm	$1,460.00

Prostheses List by Category, Groups and Sponsor	Page 333 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 9 - Fixation: Washer/Staple

Group 9b - Staple

Johnson & Johnson Medical Pty Ltd

JJ657	Single Hole Staple - Expedium Anterior 	Single Hole Staple - Titanium	One Size Only	$410.00

Spine System

Hip A - Femoral Components - Primary & Revisions

Global Manufacturing Technology Pty Ltd

GM133	K2 Global Modular Femoral Stem	K2 Mid Stem	Size 2 to 12	$5,000.00

GM134	K2 Global Modular Femoral Stem	K2 Stem	K2 Stem Size 2, K2 Stem Size3, 	$6,400.00

K2 Stem Size 4, K2 Stem Size 5,

K2 Stem Size 6 , K2 Stem Size

7, K2 Stem Size 8, K2 Stem Size

10, K2 Stem Size 11,

GM143	SMR Femoral Stem	SMR Distal Component 240mm	SMR distal component 14x 	$4,620.00	$4,784.00

240mm, SMR distal component

16 x 240mm, SMR distal

component 17x240mm, SMR

distal component 18 x 240mm,

SMR distal component 19 x

240mm, SMR distal component

20 x 240mm, SMR distal

Group 01a - Cemented, unpolished, no pre-coat, straight, short and standard length, all

B Braun Australia Pty Ltd

BB275	Excia Hip System	Cemented stem cobalt chromium	9mm-18mm	$1,850.00	$2,000.00

ESKA Australia

EK080	Adapter GHE Femoral Stem Cemented 	CoCr, non polished	160mm & 180mm	$1,850.00	$2,000.00

Exactech Australia

EX012	Exotech Novation C femoral stem	Femoral stem cemented unpolished	1-8	$1,850.00	$2,000.00

Mathys Orthopaedics Pty Ltd

MA016	CCA Cemented Femoral Stem	CoCr, straight, not polished	7.50mm -17.5mm	$1,850.00

Prostheses List by Category, Groups and Sponsor	Page 334 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH226	Exotech Novation C femoral stem	Femoral stem cemented unpolished	1-8	$1,850.00	$2,000.00

Smith & Nephew Surgical Pty Ltd

SN010	Basis Femoral Component	Hip stem, Cobalt Chromium Grit Blast	Length 115 - 135mm	$1,850.00

Stryker Australia Pty Ltd

ST576	Stryker Omnifit Cemented Stem	Cemented  femoral component Cobal 	Stem sizes 4-11	$1,850.00

ST586	Osteonics omnifit head/neck hip stem 	Cobal Chrome, Unpolished, standard and 	Stem sizes  5, 7 & 9	$2,000.00

long with calcar

Zimmer Pty Ltd

ZI015	Zimmer 'VerSys  Hip Systems Femoral 	Cemented - Cobalt Chrome unpolished	11 - 17	$1,850.00	$2,175.00

ZI337	Natural Hip System	Unpolished, straight, Femoral Stem, CoCr	140 - 160mm	$1,850.00

N

Dj Orthopaedics Pty Ltd

DD026	R120 Cemented Femoral Stem	CoCr, unpolished, tapered, collared, 	Size 1 to 6	$1,850.00	$4,428.00

separate neck

Global Orthopaedic Technology

GO134	R120 Cemented Femoral Stem	CoCr, unpolished, tapered, collared, 	Size 1 to 6	$1,850.00	$4,428.00

separate neck

Group 01b - Cemented, unpolished, no pre-coat, tapered, short and standard length, all

Biomet Australia Pty Ltd

BI039	Integral Hip System	 Femoral Stem, Chrome Cobalt, 	9-17mm	$1,850.00

Cemented unpolished

BI047	Echo FX Stem	 Femoral Stem, Chrome Cobalt, 	7-17mm	$1,850.00

Cemented unpolished

BI050	Bi-Metric Hip System	Titanium unpolished cemented 	7-17mm	$1,850.00

BI063	Bimetric Hip System	Chrome Cobalt Cemented, unpolished	7-17mm	$1,850.00

BI069	Biomet Taperloc Hip System	Titianium unpolished 	7.5mm to 20mm diameter	$1,850.00

BI132	Mallory Head Hip System	 Cobalt Chrome, Unpolished	7-19mm	$1,850.00

Dj Orthopaedics Pty Ltd

DD006	Foundation Hip System 450, 460	Foundation Non-porous, cemented Stem	8, 9, 10.5, 12, 13.5, 15, and 16.5	$1,850.00

Prostheses List by Category, Groups and Sponsor	Page 335 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Exactech Australia

EX053	Novation Cemented Plus Femoral Stem	The Exatech Novation Cemented Femoral	Size 10, 11, 12, 13, 14, 15, 17	$1,850.00

Stems are a line addition to the

AcuMatch C-Series Cemented femoral

stems, as follows: The trapezoidal cross-

sectional area was modified to a circulo-

trapezoidal geometry. A change to the

sizing range and neck length.  12/14

trunnion on neck to connect to femoral

Johnson & Johnson Medical Pty Ltd

DP180	Charnley Standard Femoral Stem	Stainless steel, (Ortron 90) fixed & 	Sizes less than 200mm	$1,850.00

attachable femoral heads

DP203	Elite Plus Femoral Stem	Stainless steel, Ortron 90, cemented 	CDH, Size 1-7 and all offsets	$1,850.00

femoral stem, unpolished

JJ573	Summit Cemented Femoral Stem	CoCr, tapered, unpolished	Sizes 0-10, with various offsets	$1,850.00

Stryker Australia Pty Ltd

SR017	Omnifit hip system	OMNIFIT cemented femoral component 	Stem sizes 4-11	$1,850.00

- cobalt chrome

SR018	Omnifit hip system	OMNIFIT 'C' stem - cemented  cobalt 	Stem sizes 4-11	$1,850.00

chrome, collared and collarless, 132

degree offset

N

ESKA Australia

EK031	Adapter Cemented Femoral Stem	CoCr, unpolished, tapered, fixed proximal	Femoral stem 1-7	$1,850.00

cement centralisers and distal centraliser

included

SCP

Smith & Nephew Surgical Pty Ltd

SN301	Spectron and Synergy	Femoral Stem Non Porous Offset	1- 20	$1,850.00	$2,060.00

Group 02a - Cemented, polished, no pre-coat, straight, short or standard length, all

B Braun Australia Pty Ltd

BB240	BiContact cemented	Cemented stem cobal chrome	8-18	$2,100.00

Zimmer Pty Ltd

ZI023	Zimmer Heritage Hip Systems Femoral 	 Cobalt Chrome, polished, straight 	11 - 17	$2,100.00

Prostheses List by Category, Groups and Sponsor	Page 336 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

N

Global Orthopaedic Technology

GO036	Absolut Cemented Femoral Stem	CoCr, highly polished, tapered, with neck	1 to 14	$2,100.00

Lifehealthcare Pty Ltd

LH067	Groupe Lepine Total Hip Replacement	Cemented Stainless steel polished	Size 6, 7, 9, 9, 10, 11	$2,100.00

Group 02b - Cemented, polished, no pre-coat, tapered, short or standard length, all

Biomet Australia Pty Ltd

BI066	Stanmore Total Hip System	Polished Femoral Stem - Standard and 	Size 1-5 	$2,100.00	$2,300.00

Straight, Chrome Cobalt

BI925	Mallory Head Hip System	Femoral Stem, Cobalt Chrome, Polished	7-19mm	$2,100.00	$2,300.00

Corin Australia Pty Ltd

CR024	Taper Fit Femoral Stem	Double taper stainless steel femoral stem	sizes 1-4 with 3 different offsets	$2,100.00

Finsbury Orthopaedics Australia Pty Ltd

FI019	Freeman Hip Stem	Cobalt Chrome, distal half poslished, 	165 lengths, diameter 10-12-14-	$2,100.00

cemented	16-18-20, offsets short 36mm

and medium 40mm

Global Manufacturing Technology Pty Ltd

GM038	Edinburgh Femoral Stem	CoCr, double taper, highly polished	CDH to Size 4 Narrow: Size 1 to	$2,100.00	$2,317.00

Size 4 Standard

Global Orthopaedic Technology

GO164	Global Cemented Femoral Stem	CoCr, polished, double taper, 	Sizes 0-4, various offsets	$2,100.00	$2,317.00

Johnson & Johnson Medical Pty Ltd

DP546	C- Stem & C- Stem AMT Femoral Stems	Stainless steel Ortron 90, highly polished, 	Size 1-8 standard, Size 1-8 High 	$2,100.00

triple taper	Offset, CDH and 0A to 3A sizes

JJ786	Corail Hip System Cemented Femoral 	Stainless steel cemented, polished femoral	Size 8 - 20	$2,100.00	$2,300.00

stem, standard and high offsets

Lima Orthopaedics Australia Pty Ltd

LC005	Lima Friendly Stem 	Femoral Stem Cemented, tapered, 	0, 1, 2, 3	$2,100.00	$2,350.00

LC026	Lima Accent Hip System	Femoral Stem Cemented, tapered, 	1 -6	$2,100.00	$2,317.00

Prostheses List by Category, Groups and Sponsor	Page 337 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA463	twinSys Cemented Femoral Stem	stainless steel, highly polished, triple 	8 sizes in standard and lateral 	$2,100.00

version (Size 9, 10, 11, 12, 13,

14, 15, 16)

MA474	Cemira Cemented Femoral Stem	Stainless steel, highly polished, triple taper	Various offsets and sizes	$2,100.00

Medacta Australia Pty Ltd

MU001	CONE Cemented Femoral Stem	CoCr, highly polished, triple taper	Standard sizes 1 to 8, Lateralized	$2,100.00

sizes 2 to 7

MU004	Quadra Hip Cemented Femoral Stem	High nitrogen stainless steel alloy, highly 	0 to 7	$2,100.00

polished, double taper

Smith & Nephew Surgical Pty Ltd

SN268	CPCS	Femoral Stem Polished Non Porous, Std 	1 - 5	$2,100.00

and High Offset

Zimmer Pty Ltd

ZI009	Zimmer CPT Hip Systems Femoral 	Co Cr (Zimaloy), polished and tapered	Sizes 1 - 5	$2,500.00

ZI373	MS-30 Hip prosthesis	Stainless steel, polished tapered	6 to 16	$2,100.00

N

Advanced Surgical Technologies

AD318	Profemur Xm Femoral Stem	Femoral Stem, CoCr, Cemented, Polished	0, 1, 2, 3, 4	$2,100.00	$2,300.00

LSS Surgical Pty Limited

LS132	Profemur Xm Femoral Stem	Femoral Stem, CoCr, Cemented, Polished	0, 1, 2, 3, 4	$2,100.00	$2,300.00

SCP

Stryker Australia Pty Ltd

HW041	Exeter Hip System	Stainless Steel (Orthinox)	Stem Sizes 0-6, Offsets 30, 33, 	$2,500.00

35.5, 37.5, 44, 50 & 56mm

Group 03a - Cemented, unpolished, pre-coat, straight, short or standard length, all

Stryker Australia Pty Ltd

HW031	Definition PM Femoral Component	Femoral Stem -  Vitallium	Stem sizes 1 - 7	$2,100.00

Prostheses List by Category, Groups and Sponsor	Page 338 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 04a - Cemented, polished and unpolished, long length, conventional.

ESKA Australia

EK081	Adapter GHE Femoral Long Stem 	CoCr, non polished, long stem	200mm - 350mm	$3,550.00

Cemented

Finsbury Orthopaedics Australia Pty Ltd

FI020	Freeman Hip Stem	Cobalt Chrome, distal half poslished, 	Diameter 14-16/Short and 	$3,550.00

cemented	Medium offset +50mm

Johnson & Johnson Medical Pty Ltd

DP013	Wroblewski Resection femoral Stem	Stainless steel, polished, includes 	200mm-250mm	$3,550.00

segmental support rings x 3

DP175	Charnley Hip Long Femoral Stem	Stainless steel Ortron 90 stem	10"- 15" (250-375mm) 	$3,550.00

DP212	Elite Plus Long Femoral Stem	Stainless steel, Ortron 90, cemented 	Sizes 3-5 (200-250mm)	$3,550.00

femoral stem, unpolished

DP550	C- Stem Long Femoral Stem	Stainless steel Ortron 90, highly polished, 	Size 4-8 x 200-240 mm length	$3,550.00

triple taper, long stem

Link Orthopaedics  Australia

LO012	LINK Endo - Model Saddle Prosthesis	Cobal Chrome, unpolished and long	170mm / Sizes 01-5	$3,550.00

LO015	LINK Lubinus SPII Hip Prosthesis	Stem	Left & right 01-5	$1,850.00

Stryker Australia Pty Ltd

HW040	Exeter Hip System	Stainless Steel (Orthinox) polished long 	37.5 and 44mm offsets	$3,550.00

ST584	Osteonics omnifit cemented long stem	cobalt chrome unpolished long 	Stem sizes  5-11, stem length 	$3,550.00

200, 250 AND 300mm

Zimmer Pty Ltd

ZI025	Zimmer VerSys CRC Hip Systems 	 Cobalt Chrome, unpolished long stem 	13 - 19	$3,550.00	$3,825.00

Femoral Stem	with calcar attachment option

ZI301	CPT Hip System	Cobalt Chrome, polished, tapered, long 	Sizes 1 - 4	$3,550.00

Group 04b - Cemented, calcar replacement, long length.

Smith & Nephew Surgical Pty Ltd

SN273	Echelon/Spectron	Revision Hip Stem - Non-porous	135mm - 235mm	$3,700.00

Prostheses List by Category, Groups and Sponsor	Page 339 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Calcar

Biomet Australia Pty Ltd

BI051	Bi-Metric Hip System	Head Neck calcar Femoral Stem, Chrome	9-15mm 	$3,700.00

Cobalt, Cemented, unpolished 200 and

250 lengths

Group 05a - Uncemented, Grit Blast, not HA, standard and short, no modularity.

B Braun Australia Pty Ltd

BB272	HuckStep Hip System	Titanium, plasma coated femoral stem, 	Short and Standard length	$3,870.00

short and standard length, non HA

Biomet Australia Pty Ltd

BI932	PPF Hip System	grit blast non HA	00 thru 12	$3,870.00

BI980	Echo Hip System	Press Fit Femoral Component, titanium	7 - 17mm	$3,870.00

Dj Orthopaedics Pty Ltd

DD007	Foundation Hip System, 440, 470, 480	Foundation Porous, Press Fit, fracture 	8, 9, 10.5, 12, 13.5, 15, 16.5, 	$3,870.00	$4,300.00

Stem with or without collar

DD048	CLP Hip System - Femoral Component, 	Non modular femoral hip stem, designed 	14 x standard offset 	$3,870.00

Ti, Grit Blast, non HA, standard and 	for uncemented use, and to be used with 	components and 12 lateral offset

lateral offset	CoCro or Ceramic heads in total hip

arthroplasty, or Bipolar heads in hemi-

Finsbury Orthopaedics Australia Pty Ltd

FI021	Adept Hip System	Femoral Hip Stem, cementless, titanium, 	12 standard sizes and 7 	$3,870.00

long stem, grit blast	lateralised sizes

FI044	Finsbury Type S Stem	Tapered, Titanium, Uncemented Femoral 	Sizes 5 through 20. Standard & 	$3,870.00	$4,282.00

Stem	Lateralised

Lima Orthopaedics Australia Pty Ltd

LC011	Lima C2 Femoral Stem	Femoral Stem, titanium, grit blast, non 	1-8	$3,870.00	$3,950.00

Link Orthopaedics  Australia

LO107	Beta-Cone Cementless Hip Prosthesis	Titanium, grit blast, non HA	9 Stem sizes 1-9 plus additional 	$3,870.00

9 stems with XL neck length.

Total 18 sizes

LO146	CFP Hip Stem	Titanium, grit blast, non HA	Extra small to Extra Large	$3,870.00

Mathys Orthopaedics Pty Ltd

MA019	CBC Non Cemented Femoral Stem	Titanium, grit blast, non HA, 	5-20mm	$3,870.00

Prostheses List by Category, Groups and Sponsor	Page 340 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MA427	CBH Non Cemented Femoral Stem	Titanium, grit blast, non HA, 	00-12	$3,870.00

Medacta Australia Pty Ltd

MU025	Quadra S Femoral Stem	Titanium, grit blast, non HA,	Standard #0 to #10 and #0 to #3	$3,870.00

with a shorter neck.  Lateralized

#1 to #7 and #1 to #3 with a

shorter neck.

Smith & Nephew Surgical Pty Ltd

SM012	SL & SLR Plus Femoral Stem	Titanium, grit blast, non HA, 	Sizes 01-12 for SL & 1-6 for SLR	$3,870.00	$4,202.00

SM115	Proxy Plus Femoral Stem	Titanium, grit Blasted, triple tapered	5-20 various offsets	$3,870.00

SM126	SL Plus MIA Femoral Stem	Titanium, grit Blasted, double tapered	01-12 various offsets	$3,870.00	$4,202.00

SN842	Platform Hip Stem	Titanium grit blasted stem	0-12	$3,870.00

Stryker Australia Pty Ltd

SR056	Hipstar™ TMZF® Hip Stem	Titanium, grit blast and HA	Size 0 through to 12	$3,870.00

Zimmer Pty Ltd

ZI338	Natural Hip System	Femoral Stem Porous, Titanium	140 - 160mm	$3,870.00

ZI376	Cone Hip prosthesis	Titanium, grit blast, non HA	13 to 24mm	$3,870.00

ZI397	Variall Hip System	Titanium, grit blast, non HA	sizes 0 to 11,	$3,870.00

ZI462	Alloclassic Hip Stem	Titanium, grit blast, non HA, standard and	1 - 14	$4,270.00

high offset

ZI463	Alloclassic Hip Stem	Zweymuller, Ti alloy, Short Cone, 	01, 0, 1, 10-13	$4,270.00

Slender Neck

ZI468	CLS Cementless Hip	Titanium, grit blast, non HA	5 - 20	$3,870.00	$4,270.00

N

Advanced Surgical Technologies

AD232	Profemur Total Hip System	Profemur E Stem - without HA grit 	1 Standard - 9 Standard	$3,870.00

blasted 'Titanium

AD238	Profemur Total Hip System	Profemur Z, Titanium Tapered Femoral 	Standard Length Sizes 1 - 9	$3,870.00

Dj Orthopaedics Pty Ltd

DD027	R120 Uncemented Femoral Stem	Femoral Stem porous/HA coated, 	Size 1 to 6	$3,870.00	$4,428.00

Modular, CrCo, standard lengths

Global Orthopaedic Technology

GO135	R120 Uncemented Femoral Stem	Femoral Stem porous/HA coated, 	Size 1 to 6	$3,870.00	$4,428.00

Modular, CrCo, standard lengths

Prostheses List by Category, Groups and Sponsor	Page 341 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS088	Profemur Total Hip System	Profemur E Stem - without HA grit 	1 Standard - 9 Standard	$3,870.00

blasted 'Titanium

LS093	Profemur Total Hip System	Profemur Z, Titanium Tapered Femoral 	Standard Length Sizes 1 - 9	$3,870.00

Group 05b - Uncemented, Grit Blast, HA, Standard and short, no modularity.

Austofix

AX044	Hyperion Uncemented Stem	Titanium, gritblast, HA coated, collared, 	Sizes 9 to 20	$4,300.00

collarless and high offset

B Braun Australia Pty Ltd

BB239	BiContact Cementless	Femoral stem, grit blast and HA 	8-21	$4,300.00

Biomet Australia Pty Ltd

BH043	Exception Femoral Stem	Standard or Varised, Left or Right 	Sizes 1-9	$4,300.00	$4,700.00

Titanium Alloy, HA coated

Corin Australia Pty Ltd

CR117	Metafix Femoral Stem	Titanium femoral stem striated and fully 	standard, lateralised and 125 	$4,300.00

coated with HA

Exactech Australia

EX002	Novation Element HA	Novation Press-Fit Element Stems are 	collarless: standard offset, 	$4,300.00

intended for press-fix fixation and 	12/14, sizes 8-18 Extended

manufactured from Titanium 6A1-4V and	offset 12/14, sizes 8-18,

have rectangular cross-sectional 	collared: standard offset 12/14,

geometry with transverse proximal

grooves and distal parallell grooves.

Finsbury Orthopaedics Australia Pty Ltd

FI018	Freeman Hip Stem	Cobalt Chrome, ridged HA coated, 	165 lengths, diameter 10-12-14-	$4,300.00

cementless, grit blast	16-18-20, offsets short 36mm

and medium 40mm

FI036	APTA Hip Stem	Anatomic, Titanium, HA Coated, Modular	Sizes 1-8 in Left & Right, 	$4,300.00

Uncemented Femoral Stem	Collarless & Collared

FI039	Hydra Hip Stem	Tapered, Titanium, HA Coated, Modular 	Sizes 9 through 16	$4,300.00	$4,420.00

Uncemented Femoral Stem

FI043	Finsbury Type C Stem	Tapered, Titanium, HA Coated, 	Sizes 7 through 20. Standard & 	$4,300.00	$4,420.00

Uncemented Femoral Stem	Lateralised

Prostheses List by Category, Groups and Sponsor	Page 342 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY514	Kar Femoral Stem	Titanium, grit blast, full HA coating, 	Sizes ≤12, (length less than 	$4,300.00

fluted distally

Lifehealthcare Pty Ltd

LH366	Pavi / Targos Femoral Stem	Titanium, grit blast with HA	One piece varus neck in sizes 	$4,300.00

10-16 in lengths 140 - 170mm.

One piece standard neck in sizes

9 -16 , lengths 140 - 170mm.

Link Orthopaedics  Australia

LO034	CFP Hip Stem	Titanium, grit blast,  HA	Extra small to Extra Large	$4,300.00

LO111	Beta-Cone Cementless Hip Prosthesis	Titanium, grit blast, with HA	9 Stem sizes 1-9 plus additional 	$4,300.00

9 stems with XL neck length.

Total 18 Sizes

Mathys Orthopaedics Pty Ltd

MA462	twinSys Non Cemented Femoral Stem	Titanium, grit blast, fully HA	Various offsets and sizes under 	$4,300.00

200mm length

Medacta Australia Pty Ltd

MU003	Quadra Hip Femoral Stem 	Titanium, grit blast, fully HA,	Std 0 to 8 Lat 1 to 7	$4,300.00

Smith & Nephew Surgical Pty Ltd

SM106	SBG Femoral Stem	Titanium, grit blasted, proximal HA	05 - 7	$4,300.00

SN306	Synergy	Femoral stem: HA coated Titanium Alloy, 	9-20	$4,300.00

Std and High Offset

SN894	Anthology HAC	Femoral Stem - Titanium grit blasted HA 	01-18 90mm-122mm	$4,300.00

coated

Stryker Australia Pty Ltd

ST573	Omnifit hip stem	Titanium, grit blast and HA	Stem sizes 4-14	$4,300.00

Zimmer Pty Ltd

ZI520	Alloclassic Zweymuller Hip Stem HA 	Titanium, grit blast, with HA	1 - 12	$4,700.00

Coated

ZI556	Avenir- Muller Stem	Titanium, grit blast, with HA	Standard sizes 1-8;  Lateral sizes	$4,300.00	$4,600.00

1-8

Prostheses List by Category, Groups and Sponsor	Page 343 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

N

Advanced Surgical Technologies

AD237	Profemur Total Hip System	Anca-fit Femoral Stem with 1/3 proximal 	9.5, 11, 12, 13, 14, 15, 16, 	$4,300.00

HA, grit blast	17.5, left and right

Corin Australia Pty Ltd

CR099	Acor Anatomic Femoral Stem for 	Anodised titanium, fully HA 	7 Sizes	$4,300.00

Modular Neck	Coated,curved stem and used with

CR100	Integrale Femoral Stem	Anodised titanium, fully HA 	7 Sizes	$4,300.00

Coated,straight stem and used with

Lima Orthopaedics Australia Pty Ltd

LC003	Lima Total Hip Replacement System	F2L Multineck Femoral Stem 	1 - 6	$4,300.00	$4,350.00

Uncemented, beaded, with HA

LC028	H-Max Femoral stem	Modular stem	9-18	$4,300.00

LSS Surgical Pty Limited

LS092	Profemur Total Hip System	Anca-fit Femoral Stem with 1/3 proximal 	9.5, 11, 12, 13, 14, 15, 16, 	$4,300.00

HA, grit blast	17.5, left and right

SCP

Johnson & Johnson Medical Pty Ltd

DP943	Corail Femoral Stem	Titanium, grit blast, full HA coating,  	Size K6 to K20 or in lengths 110	$4,700.00

-190mm

Orthotech Pty Ltd

OH279	JRI Furlong Total Hip System	Uncemented Femoral Stem, titanium, grit 	12 /14 Taper, and 5mm offset, 	$4,700.00	$5,300.00

blast, with HA,  	short and standard spigot

Group 05c - Uncemented, beaded, not HA, short and standard lengths, no modularity.

Dj Orthopaedics Pty Ltd

DD001	Linear Hip Stem	Linear Hip Stem Standard or Lateral 	Sizes 5, 6, 7, 8, 9, 10, 11, 12, 	$4,350.00

Offset (reduced neck)	13, 14, 15, 17 and 19 (standard

and lateral offsets)

DD047	Revelation Hip System - Femoral 	Non modular femoral hip stem, designed 	16 stems: 8 sizes Left & 8 sizes 	$4,350.00

Component, Ti, Grit Blast, non HA, 	for uncemented use, left & right specific 	Right - 8.0, 9.0, 10.5, 12.0,

standard & lateral offset	with 130 degree neck angle & 12 degrees	13.5, 15.0 & 16.5

of built-in anteversion.  Proximal

circumferential "3D" beading, a highly

polished neck & highly polished distal stem

Prostheses List by Category, Groups and Sponsor	Page 344 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY516	Solution Implantable Hip System	Revision Standard & MMA 8 straight or 	6 inch (150mm) size 10.5 - 22.5	$4,350.00

bowed porous coated collarless, coxa

vara or high offset uncemented stem

JJ604	Tri-lock Femoral Stem	Titanium, proximally beaded, (porocoat) 	Sizes 0-10 with various offsets	$4,500.00

not HA,

JJ813	Summit Femoral Hip	Titanium, beaded proximally, distal grit 	0-12	$4,350.00

Smith & Nephew Surgical Pty Ltd

SN270	Echelon	Femoral Stem Porous Co Cr, Std and 	9 - 19	$4,350.00

High Offset

SN305	Synergy	Femoral stem Beaded Titanium Alloy, Std	9-20	$4,350.00

and High Offset

Zimmer Pty Ltd

ZI022	Zimmer Hip Systems Femoral Stem	VerSys Beaded Fullcoat - Cobalt Chrome,	11 - 20	$4,435.00

Short & Standard

N

Smith & Nephew Surgical Pty Ltd

SM171	MIS Stem	Short, tapered, uncemented "press fit" 	Size 1-9 (73mm -101mm)	$4,350.00	$4,500.00

femoral stem with modular neck

Group 05d - Uncemented, beaded, HA, short and standard lengths, no modularity.

Johnson & Johnson Medical Pty Ltd

DY134	Summit Femoral Stem	Titanium, beaded proximally with HA, 	Size 1-10	$4,850.00

duofix distal grit blast

DY424	Proxima Femoral Stem	Titanium, beaded with HA (duofix), 	Size 1 to 8	$4,850.00

metaphyseal stem

JJ814	Silent Hip System-Femoral Component	Neck preserving femoral stem, titanium, 	Sizes 18-28 x 45-70	$4,850.00	$6,115.00

beaded with HA (Duofix)

Smith & Nephew Surgical Pty Ltd

SN003	Image Hip Stem	Titanium, beaded, HA	Sizes 9 - 18	$4,850.00	$5,408.00

SN303	Synergy	Femoral Stem HA Coated beaded 	9 - 18	$4,850.00	$5,408.00

Titanium Alloy, Std and High offset

SN678	Echelon with HA	Cobalt Chromium with Hyrdoxyapetite 	11-20	$4,850.00	$5,408.00

Coating, beaded

Prostheses List by Category, Groups and Sponsor	Page 345 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN751	Synergy	Shortened Synergy Stem, Titanium, 	1-18	$4,850.00	$5,408.00

beaded, HA

SN825	Birmingham Mid Head Resection Stem	Titanium, Beaded and HA 	1-19	$4,850.00	$5,408.00

SN843	Anthology Hip System	Titanium, Beaded and HA 	0-20	$4,850.00	$5,408.00

Group 05e - Uncemented, mesh, not HA, short and standard lengths, no modularity.

ESKA Australia

EK086	Adapter Uncemented Femoral Stem	Co Cr, Titanium Spray, 3 Dimensional 	Femoral Stem 1 - 7	$4,450.00

Zimmer Pty Ltd

ZI006	Mayo Hip	Titanium, mesh (fibre metal), non HA	Small, medium, large and extra 	$4,450.00	$4,995.00

large.

ZI016	Zimmer 'VerSys Hip Systems Femoral 	Titanium, mesh (fibre metal), non HA	9 - 18	$4,450.00	$4,990.00

Group 05f - Uncemented, mesh, HA, short and standard lengths, no modularity.

ESKA Australia

EK087	Adapter Uncemented Femoral Stem	CoCr, Titanium Spray, 3 Dimensional 	Femoral Stem 1 - 7	$4,950.00

Metal, HA

Zimmer Pty Ltd

ZI017	Zimmer 'VerSys Hip Systems Femoral 	Titanium, mesh (fibre metal), with HA	9 - 18	$4,950.00	$5,325.00

Group 05g - Uncemented, plasma, not HA, short and standard lengths, no modularity.

Biomet Australia Pty Ltd

BI040	Integral Hip System	Titanium Alloy, Plasma,  non HA	Length from 125mm to 175mm,	$4,500.00	$4,680.00

9-19mm

BI049	Bi-Metric Hip System	Titanium, plasma non HA	7-17mm	$4,500.00	$4,680.00

BI074	Biomet Taperloc Hip System	Titanium, plasma non HA	7.5mm - 22.5mm	$4,500.00	$4,680.00

BI139	Mallory Head Hip System	Titanium, plasma 	7-19mm x 135 -180mm 	$4,500.00

BI981	Echo Hip System Bi Metric Femoral Stem	Echo Bi Metric Cementless Titanium 	7 - 17mm	$4,500.00

Femoral Component

FOL Technology PTY Ltd

FO020	Multifit	Modular stem	125-165mm	$4,300.00

Prostheses List by Category, Groups and Sponsor	Page 346 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO176	APEX K1tm Hip System	K1 Femoral Stem - titanium plasma 	Stem std and lat sizes 1 to 12	$4,500.00	$5,044.00

uncemented non-HA

Portland Orthopaedics (Aust) Pty Ltd

PD040	M-COR-TL Femoral Stem	Titanium, plasma sprayed, non HA, 	1-9	$4,500.00

standard & short length taper lock stem

Stryker Australia Pty Ltd

SR027	Accolade HFx	CoCr,plasma not HA 	Stem sizes 1-8, 127 degree neck	$4,500.00

Zimmer Pty Ltd

ZI296	Anatomic II Hip System Femoral Stems	Titanium, plasma Spray, no HA 	Sizes 9 - 19	$4,500.00	$4,890.00

ZI302	VerSys Hip System Femoral Stems	Minimally invasive hip stem	Sizes 9 - 19	$4,500.00	$4,890.00

ZI327	M/L Taper Femoral Stem	Titanium, plasma spray, non HA 	9mm - 18mm in 1mm 	$4,500.00	$4,890.00

increments, 10 sizes in all

ZI557	Porolock MIS Hip Stem	Curved uncemented MIS Stem with 	 A 140° size 1-14 ; B137° size 	$4,500.00	$4,890.00

TiVPS coating	1-14 ; B extended offset 129°

size 1-14 ; C127° size 1-14

N

Advanced Surgical Technologies

AD337	Profemur TL	Primary stem, tapered wedge, plasma 	1-12	$4,500.00	$4,680.00

Global Orthopaedic Technology

GO074	Paragon Femoral Stem, Non HA	Titanium, proximal plasma, non HA	1-14	$4,500.00

LSS Surgical Pty Limited

LS146	Profemur TL	Primary stem, tapered wedge, plasma 	1-12	$4,500.00	$4,680.00

Portland Orthopaedics (Aust) Pty Ltd

PD021	M-COR  Femoral Stem	Titanium, plasma sprayed, standard and 	29x9 to 41x17; 9mm to 17mm 	$4,500.00

short length distal flutes	diameter; 140mm to 165mm

Zimmer Pty Ltd

ZI554	M/L Taper Hip Stem with Kinectiv 	Titanium, plasma, non HA	size 5, 6, 7.5, 9, 10, 11, 12.5, 	$4,500.00	$4,890.00

Technology	13.5, 15,16.25,17.5

Prostheses List by Category, Groups and Sponsor	Page 347 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 05h - Uncemented, plasma, HA, short and standard lengths, no modularity.

Biomet Australia Pty Ltd

BH038	Bi Metric Hip	Femoral Stem, HA coated, porous plasma	(7 to 21) mm diameter, Standard	$5,000.00

spray, titanium	 or lateralised

BI075	Biomet Taperloc Hip System	titanium, plasma, HA	7.5mm - 22.5mm	$5,000.00	$5,044.00

BI141	Mallory Head Hip System	Titanium, plasma and HA	7-19mm 	$5,000.00	$5,044.00

BI779	CDH Hip System	Titanium, plasma and HA	8-12 mm Diameter	$5,000.00	$5,044.00

Corin Australia Pty Ltd

CR086	Tri-Fit Femoral Stem	Titanium stem proximally coated with 	5-20mm	$5,000.00

plasma spray and HA

CR089	Alpha Fit Femoral Stem	Titanium stem proximally coated with 	9.5mm, 11mm, 12.5mm, 	$5,000.00

plasma spray and HA	14mm, 15.5mm, 17mm

CR157	MiniHip Stem	Short stem, Titanium, Plasma Spray with 	9 sizes	$5,000.00

Exactech Australia

EX009	Novation Tapered and Splinned Femoral	Novation Press-Fit femoral components 	tapered: Standard Offset, size 9-	$4,500.00

Stem	are manufactured from titanium alloy.  	18, Extended Offset, Size 9-18;

The stem has a circulo-trapezoidal cross-	HA, Standard Offset, Size 9-18;

sectional geometry and distal taper.	HA, Extended Offset, Size 9-18,

splinned: Standard Offset, Size

9-18; Extended Offset, Size 9-

18, RDD Standard Offset size

11-18, RDD Extended Offset

size 11-18, HA Standard Offset

Size 9-18; HA Extended Offset

Size 9-18; HA RDD Standard

Offset size 11-18, HA RDD

Extended Offset size 11-18

EX013	Exactech Femoral Stem	Novation Hip System	9-18	$5,000.00

Lima Orthopaedics Australia Pty Ltd

LC015	Sam-Fit modular stem	Modular stem	1 - 7	$5,000.00

Orthotech Pty Ltd

OH232	Exactech Femoral Stem	Novation Hip System	9-18	$5,000.00

OH280	JRI Furlonjg active stem	JRI Furlong Active Stem, Titanium Aloy 	12 / 14 Taper, 9-16mm	$5,000.00	$5,300.00

with Supravit Coating, 12/14 Taper

Prostheses List by Category, Groups and Sponsor	Page 348 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM013	SL & SLR PLUS Femoral Stem	Titanium, Plasma spray, proximal HA 	01 to 12 for SL & 1-6 for SLR, 	$5,000.00	$5,195.00

various offsets

SM122	POLARSTEM FEMORAL STEM 	Titanium, Plasma spray, full HA coating	0-8, various offsets	$5,000.00	$5,195.00

SM127	SL Plus MIA Femoral Stem	Titanium, Plasma spray, proximal HA 	01-12, various offsets	$5,000.00	$5,195.00

SN900	NANOS Neck Preserving Stem	.Neck preserving femoral stem with 	Size 0 to Size 9	$5,000.00

vacuum plasma spray titanium porous

coating and Calcium Phosphate electro

chemical deposition process coating

(Bonit Coating) for use without modular

Stryker Australia Pty Ltd

HW024	ABG11 Hip Stem Prosthesis(Various)	Titanium, Plasma coated with HA 	Stem sizes 1 - 8 Left,  1 - 8 	$5,000.00

HW055	Citation Hip	TMZF - HA Stem -  Titanium/HA coated 	Stem sizes 0 - 8 Left & Right	$5,000.00

SK447	Rejuvinate SPT (Monolithic Stems, 	Titanium (TMZF), plasma coated, HA	4-12	$5,000.00

TMZF) Hip System

ST541	Secur-Fit Plus max hip system	Titanium, plasma, HA 	Stem sizes 7-14	$5,000.00

ST574	secur-fit HA Max hip stem	Titanium, plasma coated, HA	Stem sizes 4-14 in 127 and 132 	$5,000.00

degree neck angles

ST575	ACCOLADE hip prostheses	Titanium, plasma coated, HA	Stems sizes 0, 1, 2, 2.5,3, 3.5, 	$5,000.00

4, 4.5, 5, 5.5, 6, 7, 8

ST587	Osteonics hip prostheses	Restoration stem - 155mm  titanium - HA	155mm length - stem sizes 7-12	$5,000.00

coated

Zimmer Pty Ltd

ZI493	M/L Taper   Stem	Plasma sprayed titanium with HA 	Sizes 5 to 22 with standard and 	$5,000.00	$5,270.00

extended offsets

ZI495	Zimmer Anatomic II 	Titanium, plasma spray with HA	Sizes 1 - 12, left and right	$5,000.00	$5,270.00

N

Advanced Surgical Technologies

AD278	Profemur Total Hip System	Titanium Tapered Stem - HA Plasma Spray	Sizes 9 to 18 in 1 mm increments	$5,000.00

AD279	Profemur Total Hip System	Titanium Stem with HA Plasma Spray, 	Size 10 -18	$5,000.00

standard & reduced flare

B Braun Australia Pty Ltd

BB295	Metha - modular short stem	Short stem, plasma, HA 	1 -6	$5,000.00

Prostheses List by Category, Groups and Sponsor	Page 349 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM090	APEX Global Femoral Stem	Titanium, plasma coated, proximal HA , 	Sizes 2-8	$5,000.00

standard and short lengths

GM117	MSA Global Femoral Stem	Titanium, plasma spray, with HA, distal 	0 - 6	$5,000.00

flute & polished

GM120	K2 Global Femoral Stem	Titanium, plasma spray, proximal HA	Size 0to size 12	$5,000.00

Global Orthopaedic Technology

GO034	UniSyn Non Modular Femoral Stem	Titanium, proximal plasma spray with 	0 to 6	$5,000.00

HA, distal flutes

GO037	Paragon Femoral Stem	Titanium, proximal plasma & HA	1 to 14	$5,000.00

Lifehealthcare Pty Ltd

LH069	MBA stem 	Titanium, grit blast with HA	1 - 8	$5,000.00

LH183	Lyderic II HA Modular Stem	Titanium, plasma with HA	Size 6-11	$5,000.00

LSS Surgical Pty Limited

LS120	Profemur Total Hip System	Titanium Tapered Stem - HA Plasma Spray	Sizes 9 to 18 in 1 mm increments	$5,000.00

LS121	Profemur Total Hip System	Titanium Stem with HA Plasma Spray, 	Size 10 -18	$5,000.00

standard & reduced flare

Portland Orthopaedics (Aust) Pty Ltd

PD038	M-COR Femoral Stem HA	Titanium, plasma sprayed, HA coated, 	29x9 to 41x17, 9mm to 17mm 	$5,000.00

standard & short length distal flutes	diameter, 140mm to 165mm

PD039	M-COR-TL Femoral Stem HA	Titanium, plasma sprayed, HA coated, 	1-9	$5,000.00

standard & short length taper lock stem

Stryker Australia Pty Ltd

SK445	Rejuvinate SPT Femoral Hip System	Titanium (TMZF), plasma, HA with 	7-12	$5,000.00

removable neck

SR062	ABGll Modular Stem	Titanium (TMZF), plasma, HA with 	1-8 (left and right)	$5,000.00

removable neck

Zimmer Pty Ltd

ZI555	M / L Taper Hip Stem with Kinectiv 	Titanium, plasma spray with HA	size 5,  6 , 7.5, 9, 10, 11, 12.5, 	$5,000.00	$5,270.00

Technology	13.5, 15, 16.25, 17.5

Prostheses List by Category, Groups and Sponsor	Page 350 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 05j - Uncemented, unpolished and polished, HA, short and standard lengths, no

Lima Orthopaedics Australia Pty Ltd

LC013	FIT stem	FIT anatomical Femoral Stem	1-7	$4,000.00

Group 05k - Uncemented, other, not HA, short and standard lengths, no modularity.

Johnson & Johnson Medical Pty Ltd

JJ777	Tri-Lock Gription Femoral Stem	Titanium, Femoral stem, GRIPTION 	Size 0-12 standard and high 	$4,450.00	$5,114.00

Zimmer Pty Ltd

ZI492	Trabecular Metal Femoral Stem	Titanium, porous tantalum 	Sizes 9 to 18 with standard and 	$4,450.00	$5,270.00

extended offsets

Group 05l - Uncemented, other, HA, short and standard lengths, no modularity.

Zimmer Pty Ltd

ZI014	Zimmer Epoch Hip Systems Femoral 	Cobalt Chrome, Core, PAEK outer 	14 - 18 mm	$4,950.00

matrix, Titanium mesh with HA

ZI365	Natural Hip System	Titanium stem with cancellous spray 	00 to 7	$4,950.00

titanium coating with HA, standard and

Group 06a - Uncemented, Grit Blast, not HA, standard and short, modularity.

Smith & Nephew Surgical Pty Ltd

SN899	MDF Revision System	Femoral Stem - Titanium grit blasted for 	10-25 - 150mm - 190 mm	$3,120.00	$4,820.00

use with moduylar femoral neck choices

anteverted, retroverted, standard and

multiple height.  Allows fixation of

proximal sleeve in various shapes (suffix

Zimmer Pty Ltd

ZI611	Revitan Modular Straight Stem	Titanium, grit blast, non HA, cobalt 	14 x 175, 140mm; 18 x 140mm;	$3,120.00	$6,106.00

chrome junction	 20, 22, 24 x 195mm

ZI613	ZMR Modular Revision Hip System - 	Titanium, grit blast, non HA	150 to 17mm	$3,120.00	$6,106.00

Mod2B

Biomet Australia Pty Ltd

BI086	Impact Modular Total Hip System	Femoral body, Titanium, grit blast, non HA	Size 3-6 Small/Medium	$2,860.00	$5,500.00

Prostheses List by Category, Groups and Sponsor	Page 351 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

FOL Technology PTY Ltd

FO001	MGS Revision Modular stem neck	Modular Neck	65 - 95 mm	$2,860.00	$3,860.00

Stryker Australia Pty Ltd

ST001	Restoration T3 Revision Hip System - 	Titanium femoral body, grit blast, non HA	S,M,L	$2,860.00

Proximal body

Mod2BA

Global Manufacturing Technology Pty Ltd

GM052	SMR Modular Femoral Stem Proximal 	Titanium, grit blast, non HA, 	40 to 70mm	$2,860.00	$3,860.00

Lima Orthopaedics Australia Pty Ltd

LC009	Lima Modulus Hip System	Femoral Body, grit blast, non HA	body w/screw, small and large	$2,860.00

Medartis

EO044	MRP-TITAN Neck Segment	Body without fin with locking screw 	K, M, L	$2,860.00

Cone 12/14, body with fin with locking

screw Cone 12/14, body with trocanter

with locking screw Cone 12/14, special

Smith & Nephew Surgical Pty Ltd

SM016	Modular Plus Femoral System Proximal 	Titanium, grit blasted, with stem locking 	sizes AS/AL/BS/BL/CS/AX less 	$2,860.00	$3,626.00

Femoral Body	than 75mm, various offsets

Mod2SpA

Medartis

EO004	MRP-TITAN Stem	Short diopyseal stem	30mm length - diameter 16mm, 	$1,215.00

18mm, 20mm, 22mm

Mod2St

FOL Technology PTY Ltd

FO002	MGS Revision Modular stem	Modular stem	130-210mm	$3,120.00	$3,500.00

Portland Orthopaedics (Aust) Pty Ltd

PD034	M-COR-R Revision Hip Stem System/ 	Grit blasted, titanium distal stem, standard	10 - 23mm diameter, 155 - 	$3,120.00

M-COR-R Distal Stem Straight	 lengths	175mm length

Mod2StA

Biomet Australia Pty Ltd

BI081	ARCOS Modular Revision Hip System	Grit Blast Distal Stems, non HA	150mm - 200mm	$3,120.00	$3,520.00

Lima Orthopaedics Australia Pty Ltd

LC010	Lima Modulus Hip System	Femoral Stem, titanium, grit blast, non 	Femoral Stem 16mm - 26mm	$3,120.00

Prostheses List by Category, Groups and Sponsor	Page 352 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LC030	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	$3,120.00

Mathys Orthopaedics Pty Ltd

MA500	Lima Revision Total Hip System	Titanium, grit blast, non HA	14, 16, 18	$3,120.00

Zimmer Pty Ltd

ZI379	PFM Hip series	Uncemented Stems, titaniuam, grit blast 	140 to 260 x 14 to 24	$3,120.00	$4,824.00

and non HA

Mod3BA

Link Orthopaedics  Australia

LO020	Link femoral body 	Titanium, Grit blast, femoral Body 	35-65mm / 126 & 135 CCD	$2,860.00

LO025	Link femoral body 	Titanium, grit blast, non HA	35-65mm IN 126 & 135 degrees	$2,860.00

LO134	Waldemar Link MP Reconstruction Hip 	Link body, Titanium, grit blast, non HA	35-65mm IN 126 & 135 degrees	$2,860.00

Prosthesis

LO140	Link Body 	Titanium, grit blast, non HA	35 - 65mm	$2,860.00

Mod3SpA

Link Orthopaedics  Australia

LO026	lLink spacer 	Titanium, grit blast, non HA 	10mm - 40mm	$1,215.00

Mod3SpN

Advanced Surgical Technologies

AD319	Profemur Total Hip System	Extension Piece for the profemur R, 	L26 x D19mm, D21mm & 	$1,215.00	$1,615.00

Titanium, grit blast	D23mm;

LSS Surgical Pty Limited

LS133	Profemur Total Hip System	Extension Piece for the profemur R, 	L26 x D19mm, D21mm & 	$1,215.00	$1,615.00

Titanium, grit blast	D23mm;

Mod3StA

Link Orthopaedics  Australia

LO021	Link MP Reconstruction Hip Prosthesis	Stem, grit blast, titanium non HA	12 - 25mm x 160mm	$3,120.00

Medartis

EO001	MRP- TITAN Stem	Modular Revision Titanium stem, straight 	140mm  diameter 13-30	$3,120.00

and curved

Prostheses List by Category, Groups and Sponsor	Page 353 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 06b - Uncemented, Grit Blast, HA, Standard and short, modularity.

Mod2B

Medartis

EO026	ESOP HA	Esop Femoral body Metaphyseal grit blast	Left and Right Size 5-20	$3,120.00

Ti/HA,

Mod2BA

Johnson & Johnson Medical Pty Ltd

DP005	Reef Hip Proximal Body & Neck	Titanium neck combined with small 	25-35mm	$3,120.00

proximal body of varying size, grit blast,

HA. With locking screw

Mod3BA

Link Orthopaedics  Australia

LO133	Waldemar Link MP Reconstruction Hip 	Link body, Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	$3,120.00

Prosthesis

LO135	Waldemar Link MP Reconstruction Hip 	Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	$3,120.00

Prosthesis

LO141	Link MP reconstruction hip prostheses	Titanium, grit blast, HA	38 & 58 mm	$3,120.00

LO142	Prostheses, Femoral Head	Link body, Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	$3,120.00

Mod3StA

Link Orthopaedics  Australia

LO136	Waldemar Link MP Reconstruction Hip 	Stem	12 x 160, 180, 210, 250 - MP; 	$3,520.00

Prosthesis	14 x 160, 180 -MP; 16 x 160,

180 - MP; 18 x 160, 180 - MP;

20 x 160, 180 - MP; 22.5 x 160,

180 -MP; 25 x 160, 180 - MP

Group 06c - Uncemented, beaded, not HA, short and standard lengths, modularity.

Smith & Nephew Surgical Pty Ltd

SN895	MDF Revision System	Modular sleeve with Stiktite titanium 	Small, Medium, Large and X-	$2,860.00	$3,020.00

porous coating	Large - sizes 10-25

Mod2CoA

Johnson & Johnson Medical Pty Ltd

DP982	SROM ZTT Femoral Sleeve	Titanium, beaded without HA, proximal 	Small / Large / XX large size 	$3,120.00

femoral cone	14B-24F

Prostheses List by Category, Groups and Sponsor	Page 354 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 06d - Uncemented, beaded, HA, short and standard lengths, modularity.

Smith & Nephew Surgical Pty Ltd

SN896	MDF Revision System	Modular Sleeve with Stiktite titanium 	Small, Medium, Large, and X-	$3,120.00	$3,520.00

porous coating and HA coating	Large - sizes 10-25

Mod2Co

Smith & Nephew Surgical Pty Ltd

SN819	Emperion Revision Hip	Proximal Modular Cone Standard, beaded	0, 1, 2, 3, 4, standard and long	$3,520.00

HA coated

SN820	Emperion Revision Hip	Proximal Modular Cone Long	0, 1, 2, 3, 4	$3,520.00

Mod2CoA

Johnson & Johnson Medical Pty Ltd

DP981	SROM ZTHA Femoral Sleeve	Titanium, grit blasted with HA, (proximal 	Small / Large /XX Large  size 	$2,930.00

femoral cone)	14B-24F

Group 06g - Uncemented, plasma, not HA, short and standard lengths, modularity.

Mod2B

Biomet Australia Pty Ltd

BH032	ARCOS Revision Hip System - 	Broached proximal body porous plasma 	Standard or High Offset A B C 	$3,520.00	$6,240.00

Broached proximal body	D E and F

BH033	ARCOS Revision Hip System Cone 	Cone proximal body porous plasma spray	59 to 80mm bodies, std or High 	$3,520.00	$6,240.00

Proximal Body	 coated	Offsets Size A B C D E F D

BI015	Reach Revision Hip System	Titanium, Cobal Chrome, non HA	Proximal Body #1-6	$3,120.00

Portland Orthopaedics (Aust) Pty Ltd

PD031	M-COR-R Revision hip Stem System / 	Plasma sprayed, forged titanium, conical 	21-26mm proximal diameter, 	$3,120.00

M-COR-R Proximal Body	or standard proximal body, standard length	50mm length

Mod2BA

Global Orthopaedic Technology

GO016	UniSyn Proximal Femoral Body non HA	Titanium, plasma spray, non HA	single height, variable diameter 	$3,120.00	$3,520.00

and variable medial projections

Mod2BACalcar

Biomet Australia Pty Ltd

BI126	Modular Calcar Mallory Head Revision 	Femoral body, Titanium, plasma, non HA	34, 45, 55 resection levels x size	$3,620.00

Hip System	 a,b,c,d,e

Prostheses List by Category, Groups and Sponsor	Page 355 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mod2BCalcar

Biomet Australia Pty Ltd

BH034	ARCOS Calcar Proximal Body	Calcar Proximal Body porous plasma spray	Calcar body 50mm Std +10 +20	$4,020.00	$6,240.00

bodies, Std or high offset Body

A To E

Mod2St

Biomet Australia Pty Ltd

BH035	ARCOS Modular Revision Hip Sydtem 	Distal stems bullet tip or slotted porous 	12-26mm dia x 115mm to 	$3,520.00	$3,920.00

Short Distal Stems	plasma spray	200mm length

Portland Orthopaedics (Aust) Pty Ltd

PD032	M-COR-R Revision  Hip System / M-	Plasma sprayed, titanium distal stem, 	10 - 23mm diameter, 155-	$3,520.00

COR-R Distal Stem Straight P	standard lengths	175mm length

Mod2StA

Global Orthopaedic Technology

GO013	UniSyn Hip Plasma Femoral Stem	Titanium, plasma spray, non HA	<200mm	$3,520.00	$5,920.00

Mod3CoA

Exactech Australia

EX014	Exactech M series modular Hip System	Modular Titanium Revision Hip - 	25-27mm, S, M, L, XL	$3,120.00

Metaphyseal Segment

EX015	Exactech M series modular Hip System	Femoral cone, titanium, plasma, not HA	21 - 23mm, S, M, L, XL	$3,120.00

EX016	Exactech Total Hip System	Modular Titanium Revision Hip - 	29-31mm, S, M, L, XL	$3,120.00

Metaphyseal Segment

Orthotech Pty Ltd

OH060	Exactech M series modular Hip System	Femoral cone, titanium, plasma, not HA	21 - 23mm, S, M, L, XL	$3,120.00

OH119	Exactech M series modular Hip System	Modular Titanium Revision Hip - 	25-27mm, S, M, L, XL	$3,120.00

Metaphyseal Segment

OH120	Exactech Total Hip System	Modular Titanium Revision Hip - 	29-31mm, S, M, L, XL	$3,120.00

Metaphyseal Segment

Group 06h - Uncemented, plasma, HA, short and standard lengths, modularity.

Mod2B

Biomet Australia Pty Ltd

BI837	Reach Revision Hip System	Modular Reach Proximal Body - 	Proximal Body #1 - 6	$3,520.00

Collared/Collarless, Ti, HA Coated

Prostheses List by Category, Groups and Sponsor	Page 356 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mod2BACalcar

Biomet Australia Pty Ltd

BI128	Modular Calcar Mallory Head Revision 	Femoral body, Titanium, plasma, HA, 	34, 45, 55 resection levels x size	$4,020.00

Hip System	 a,b,c,d,e

Mod2St

Stryker Australia Pty Ltd

SK058	Stryker Modular Revision Hip System	Porous Distal Stems Titanium Plasma 	Stem Lengths 127 & 167mm 	$3,920.00

straight & bowed. Diameter 11-

26mm

Mod3BN

Advanced Surgical Technologies

AD234	Profemur Total Hip System	Titanium uncemented proximal body - HA	X-Small, Small, Standard 1, 	$3,520.00

Plasma sprayed	Standard 2, Standard 3,

Standard 4, Large

LSS Surgical Pty Limited

LS089	Profemur Total Hip System	Titanium uncemented proximal body - HA	X-Small, Small, Standard 1, 	$3,520.00

Plasma sprayed	Standard 2, Standard 3,

Standard 4, Large

Mod3CoA

Global Orthopaedic Technology

GO017	UniSyn Proximal Femoral Body with HA	Titanium, plasma spray, with HA	single height, variable diameter 	$3,520.00

and variable medial projections

Group 06i - Uncemented, unpolished and polished, not HA, short and standard lengths,

Johnson & Johnson Medical Pty Ltd

JJ749	SROM Femoral Stem	Titanium, fluted, distal polished femoral 	Sizes 6-21	$4,720.00

stem & neck

JJ750	SROM Calcar Replacement Femoral Stem	Titanium, fluted, distal polished femoral 	Sizes 6-21	$5,220.00

stem & neck, with calcar replacement

Mod2St

Medartis

EO027	ESOP HA	ESOP Femoral Stem Diaphyseal Ti 	Size 9-15	$3,520.00

Smith & Nephew Surgical Pty Ltd

SN749	Emperion Revision Hip	Polished non HA	Short & Long	$4,120.00

Prostheses List by Category, Groups and Sponsor	Page 357 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SK022	Modular Revision System Fluted Distal 	Titanium, polished, fluted, no HA	Stem Lengths 127 & 167mm 	$3,520.00	$4,120.00

Stems	straight & bowed. Diameter 11-

26mm

Mod2StA

Global Orthopaedic Technology

GO011	UniSyn Hip Fluted Femoral Stem	Titanium, highly polished, fluted	<200mm	$3,520.00	$3,920.00

Mod2StCalcar

Smith & Nephew Surgical Pty Ltd

SN817	Emperion Revision Hip	Polished modular stem with option of 	+10, +20mm	$4,620.00	$5,686.00

Mod3StA

Exactech Australia

EX017	Exactech M series modular Hip System	Modular femoral stem, titanium, polished,	11 - 21mm x 135-165mm	$3,520.00

non HA

Orthotech Pty Ltd

OH059	Exactech M series modular Hip System	Modular femoral stem, titanium, polished,	11 - 21mm x 135-165mm	$3,520.00

non HA

Group 07a - Uncemented, Grit Blast, not HA, long length, no modularity.

Biomet Australia Pty Ltd

BI097	Kent Hip System	Titanium, grit blast, non HA, distal screw 	Narrow, Std.  Size 6 - 16 hole 	$5,410.00

holes

BI778	PLR Splined Revision Stem	Splined Straight Stem, Ti, grit blast, non 	14-24mm x 270mm	$5,410.00

Mathys Orthopaedics Pty Ltd

MA428	CBK Long Femoral Stem	Titanium, grit blast, fluted, long, tapered	All >200mm, various diameters	$5,410.00

Smith & Nephew Surgical Pty Ltd

SM014	SLR Plus Long Femoral Stem	Titanium, grit blast, non HA, long stem	Sizes 7-12	$5,410.00

Zimmer Pty Ltd

ZI377	Wagner Revision Hip Prosthesis	Uncemented Stem Titanium, grit blast, 	190/14 to 385/25	$5,410.00	$5,650.00

non HA

Prostheses List by Category, Groups and Sponsor	Page 358 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 07b - Uncemented, Grit Blast, HA, long length, no modularity.

Johnson & Johnson Medical Pty Ltd

DY515	Kar Femoral Stem	Titanium, grit blast, full HA coating, 	Sizes 14 - 20, (length 200mm &	$5,750.00

fluted distally	 greater)

Mathys Orthopaedics Pty Ltd

MA475	twinSys Non Cemented Long Femoral 	Titanium, grit blast, fully HA, long	Various offsets and sizes > 	$5,750.00

200mm length (14 & 15)

Medacta Australia Pty Ltd

MU058	Quadra-R Hip Revision Stem	Uncemented revision stem, HA Coated	From size 0 to size 9`	$5,750.00

Orthotech Pty Ltd

OH281	JRI Furlong revision Total Hip System	Modular femoral stem, Grit blast, HA 	12 / 14 Taper, 200mm long, 	$5,750.00	$6,000.00

200ml long 5mm offset

Group 07c - Uncemented, beaded, not HA, long length, no modularity.

Johnson & Johnson Medical Pty Ltd

DY517	Solution Implantable Hip System	Revision Standard & MMA 8 straight or 	8 inch (200mm) size 10.5 - 22.5	$5,750.00

bowed porous coated collarless, coxa

vara or high offset uncemented stem

Smith & Nephew Surgical Pty Ltd

SN272	Echelon	Revision Hip Stem - Porous, Standard 	Sizes 11 - 22	$5,750.00

Zimmer Pty Ltd

ZI497	Zimmer Hip Systems Femoral Stem	VerSys Beaded Fullcoat - Cobalt Chrome,	11 - 20	$4,849.00

Long

Group 07g - Uncemented, plasma, not HA, long length, no modularity.

Biomet Australia Pty Ltd

BI041	Integral Hip System	Titanium Alloy, plasma, not HA, long	Length from 180mm to 225mm,	$5,900.00

9-20mm

BI052	Bi-Metric Hip System	Revision 200 Stem, Titanium, plasma non	9-17mm	$5,900.00

BI053	Bi-Metric Hip System	Revision 250 Stem, Titanium,  plasma, 	9-17mm	$5,900.00

non HA

Prostheses List by Category, Groups and Sponsor	Page 359 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI054	Bi-Metric Hip System	Revision 300mm Femoral  Stem, 	9-17mm	$5,900.00

Titanium, plasma non HA

BI135	Mallory Head Hip System	Femoral Stem, Revision, Titanium	250mm, size 7 to 19mm	$5,900.00

BI137	Mallory Head Hip System	Femoral Stem, Revision, Titanium	300mm, size 7 to 19mm	$5,900.00

BI692	Reach Revision Hip System	Titanium plasma no HA	Sizes 13 - 19 (L&R) by 200 - 	$5,900.00

250mm)

Group 07h - Uncemented, plasma, HA, long length, no modularity.

Orthotech Pty Ltd

OH282	JRI Total Hip System	JRI Furlong Revision Stems, Titanium 	12 / 14 taper, 250mm long, 	$6,400.00

Alloy with Supravit Coating, 12 / 14 	250ml long 5mm offset

OH283	JRI Total Hip System	JRI Furlong Revision Plus Stem, 	12 / 14 Taper, 200mm long and 	$6,400.00

Titanium Alloy with Supravit Zoned 	200ml long with 5mm offset

Coating, 12 / 14 Taper

OH284	JRI Total Hip System	JRI Furlong Revision Plus Stem, 	12 / 14 Taper, 250mm long, and	$6,400.00

Titanium Alloy with Supravit Zoned 	 250ml long with 5ml offset

Coating, 12 / 14 Taper

Smith & Nephew Surgical Pty Ltd

SM015	SLR Plus Long Femoral Stem	Titanium, Plasma spray, proximal HA 	7-11, various offsets	$6,400.00

coating, long stem

Stryker Australia Pty Ltd

ST588	Osteonics hip prostheses	Restoration stem - 205mm  titanium - HA	205mm length - stem sizes  8-12	$6,400.00

coated

ST591	Osteonics hip prostheses 	Restoration HA long stem titanium - HA 	255mm length - stem sizes 8 - 	$6,400.00

coated anatomic (left & right)	14, left & right

Group 08a - Uncemented, Grit Blast, not HA, long length, modularity.

Smith & Nephew Surgical Pty Ltd

SN897	MDF Revision System	Femoral stem - Titanium grit blasted for 	10-25 - 200mm - 360mm	$4,620.00	$6,100.00

use with modular femoral neck - choices

anteverted, retroverted, standard &

multiple height.  Allows fixation of

proximal sleeve in various shapes (suffix-

Prostheses List by Category, Groups and Sponsor	Page 360 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI612	Revitan Modular Straight Stem	Titanium, grit blast, non HA, cobalt 	14, 16, 18, 20, 22, 24, 26, 28 x 	$4,620.00	$6,106.00

chrome junction	255mm; 16, 18, 20, 22, 24, 26 x

315mm

ZI614	ZMR Modular Revision Hip System - 	Titanium, grit blast, non HA	205, 220, 255, 270mm Straight 	$4,620.00	$6,106.00

& Bowed

Mod2BA

Global Manufacturing Technology Pty Ltd

GM055	SMR Modular Hip System	Calcar Component	40 to 70mm	$3,860.00

Lima Orthopaedics Australia Pty Ltd

LC027	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm	$3,860.00

Mathys Orthopaedics Pty Ltd

MA499	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm	$3,860.00

Smith & Nephew Surgical Pty Ltd

SM145	PLUS Hip Joint Prostheses System	Titanium, grit blasted, with stem locking 	Sizes CL/BX/CX >=75mm 	$4,520.00

various offsets

Zimmer Pty Ltd

ZI378	PFM Hip series	Titanium, grit blast, non HA, femoral 	55 to  85 	$3,860.00

ZI490	Revitan Modular Proximal Body	Titanium, grit blast, non HA, femoral 	55, 65, 75, 85, 95 and 105mm 	$3,860.00

heights

Mod2St

Link Orthopaedics  Australia

LO137	Waldemar Link MP Reconstruction Hip 	Stem	14 - 25mm x 210, 250, 290 & 	$4,620.00

Prosthesis	330mm;

Portland Orthopaedics (Aust) Pty Ltd

PD030	M-COR-R Revision Hip Stem System/ 	Grit blasted, titanium distal stem, long 	10-23mm diameter, 200-275mm	$4,620.00

M-COR-R Distal Stem Bowed	 length

Stryker Australia Pty Ltd

SK059	Stryker Modular Revision Hip System	Titanium Alloy Bowed Conical Distal 	Restoration Modular bowed 	$4,620.00	$5,928.00

conical distal stem 195mm,

ST011	Stryker Modular Hip System	Conical distal stems titanium, grit blasted	Length 155mm, Diameter 14 - 	$4,620.00	$4,846.00

28mm

Prostheses List by Category, Groups and Sponsor	Page 361 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mod2StA

Biomet Australia Pty Ltd

BI072	Modular Calcar Mallory Head Revision 	Femoral stem, titanium, grit blast, non HA	12mm to 30mm x 250mm	$4,620.00

Hip System

Lima Orthopaedics Australia Pty Ltd

LC031	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	$4,620.00

Mathys Orthopaedics Pty Ltd

MA501	Lima Revision Total Hip System	Titanium, grit blast, non HA	20, 22, 24	$4,620.00

Smith & Nephew Surgical Pty Ltd

SM017	Modular 'PLUS Femoral Stem	Titanium, grit blast, straight & curved, 	1 to 12 (all over 200mm)	$4,620.00

Mod3BN

Advanced Surgical Technologies

AD230	Profemur Total Hip System 	Titanium uncemented proximal body, grit 	X-small, Small, Standard 1, 	$3,860.00

blast 	Standard 2, Standard 3,

Standard 4, Large

LSS Surgical Pty Limited

LS086	Profemur Total Hip System 	Titanium uncemented proximal body, grit 	X-small, Small, Standard 1, 	$3,860.00

blast 	Standard 2, Standard 3,

Standard 4, Large

Mod3CoACalcar

Exactech Australia

EX018	Exactech M Series Total Hip System	Femoral Cone with calcar 	21-31mm	$4,360.00

Orthotech Pty Ltd

OH219	Exactech M Series Total Hip System	Femoral Cone with calcar 	21-31mm	$4,360.00

Mod3StA

Medartis

EO010	MRP- Titan Stem	Modular Revision Titanium Stem, straight	200mm length  diameter 13-30, 	$4,620.00

and curved, long and grit blast	260mm length diameter 11-21,

320mm length diameter 11-21mm

Mod3StN

Advanced Surgical Technologies

AD231	Profemur Total Hip System	Titanium tapered Splined, Straight or 	Length 95 - 215mm, Diameter 	$4,620.00

bowed Stem, grit blasted 	10 - 22.5mm

Prostheses List by Category, Groups and Sponsor	Page 362 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS087	Profemur Total Hip System	Titanium tapered Splined, Straight or 	Length 95 - 215mm, Diameter 	$4,620.00

bowed Stem, grit blasted 	10 - 22.5mm

ST

Lima Orthopaedics Australia Pty Ltd

LC001	Lima RPS Femoral System	Cemented tumor Stem	130, 165, 200mm	$7,176.00

Group 08b - Uncemented, Grit Blast, HA, long length, modularity.

Mod2StA

Johnson & Johnson Medical Pty Ltd

DP009	Reef Hip Femoral Stem	Titanium modular femoral stem with 	Length 225 - 375mm	$5,020.00

optional distal locking, grit blast and full

Mod3A

Corin Australia Pty Ltd

CR113	Extreme Hip System Femoral Stem	Stem component of modular femoral 	4 lengths - 250 to 400mm, 6 	$4,582.00

stem, titanium, HA, with distal screw holes	diameters

Mod3SpN

Advanced Surgical Technologies

AD320	Profemur Total Hip System	Revision Hip Proximal Body Extension 	L52 x D21mm; 	$2,615.00

Piece, Titanium

LSS Surgical Pty Limited

LS134	Profemur Total Hip System	Revision Hip Proximal Body Extension 	L52 x D21mm; 	$2,615.00

Piece, Titanium

Mod3StA

Link Orthopaedics  Australia

LO138	Waldemar Link MP Reconstruction Hip 	Stem, titanium, grit blast, HA	14 - 25mm x 210, 250, 290 & 	$5,020.00

Prosthesis	330mm; 12 x 160, 180, 210,

250 - MP; 14 x 160, 180 -MP;

16 x 160, 180 - MP; 18 x 160,

180 - MP; 20 x 160, 180 - MP;

22.5 x 160, 180 -MP; 25 x 160,

Group 08g - Uncemented, plasma, not HA, long length, modularity.

Biomet Australia Pty Ltd

BI119	Mallory Head Hip System	Femoral Stem, Calcar, Titanium	260mm, Size 9-19mm	$5,520.00

Prostheses List by Category, Groups and Sponsor	Page 363 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mod2BA

Zimmer Pty Ltd

ZI049	'ZMR Taper System Modular Revision 	Titanium body, plasma coating, non HA	A - F	$4,520.00

Mod2St

Portland Orthopaedics (Aust) Pty Ltd

PD029	M-COR-R Revision Hip Stem System 	Plasma sprayed, titanium distal stem, long	10-23mm diameter, 200-275mm	$5,520.00

/M-COR-R Distal Stem Bowed P	 lengths	 length

Mod2StA

Biomet Australia Pty Ltd

BI118	Modular Calcar Mallory Head Hip 	Femoral Stem,  Titanium, plasma, no HA,	220 - 300mm long, 12mm to 	$5,520.00

long	26mm diameter

BI127	Modular Calcar Mallory Head Revision 	Femoral Component, Distal. Titanium	170-300mm	$5,520.00

Hip System

Global Orthopaedic Technology

GO020	UniSyn Hip Plasma Long Femoral Stem	Titanium, plasma spray, non HA, long, 	>200mm	$5,520.00	$6,240.00

straight & bowed

Mod3StN

Advanced Surgical Technologies

AD235	Profemur Total Hip System	Titanium tapered, Straight or bowed 	Length 95 - 215mm, Diameter 	$4,620.00

Stem, plasma coated 	10 - 22.5mm

LSS Surgical Pty Limited

LS090	Profemur Total Hip System	Titanium tapered, Straight or bowed 	Length 95 - 215mm, Diameter 	$4,620.00

Stem, plasma coated 	10 - 22.5mm

Group 08h - Uncemented, plasma, HA, long length, modularity.

Mod2B

Stryker Australia Pty Ltd

SK056	Stryker Modular Revision Hip System	Milled Proximal Body Titanium Plasma 	Dia 19-25mm with 2 mill 	$4,520.00	$6,240.00

Spray, HA	Depths; 27-29mm with 3 Mill

SK060	Stryker Modular Revision Hip System	Broached Proximal Body Titanium Plasma	1-8	$4,520.00	$6,240.00

Spray, HA

SK061	Stryker Modular Hip System	Cone Proximal Body Titanium Plasma 	Dia 19-31mm, Heights 	$4,520.00	$6,240.00

Spray, HA	+0,+10,+20,+30

Prostheses List by Category, Groups and Sponsor	Page 364 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mod2BCalcar

Stryker Australia Pty Ltd

SK062	Stryker Modular Revision Hip System	Calcar Proximal Body Titanium Plasma 	Diameter 19-29mm, 3 Heights 	$5,020.00	$6,240.00

Mod2St

Stryker Australia Pty Ltd

SR045	Stryker Modular Revision Hip System	Modular Long Bowed Titanium Plasma 	Length 217mm, 267mm and 	$5,920.00	$6,500.00

HA Stem	317mm. Diameter 11mm -

Mod2StA

Biomet Australia Pty Ltd

BI120	Mallory Head Hip System	Femoral Stem, titanium plasma HA  	220mm, Size 9-19mm	$5,920.00

BI121	Mallory Head Hip System	Femoral Stem, Calcar, HAP Coated, 	"250 - 260mm, Size 9-19mm"	$5,920.00

BI138	Mallory Head Hip System	Femoral Stem, Revision, HAP Coated, 	300mm, size 7 to 19mm	$5,920.00

Titanium

Group 08i - Uncemented, unpolished and polished, not HA, long length, modularity.

Johnson & Johnson Medical Pty Ltd

DY510	SROM  Femoral  Calcar Replacement 	Titanium, fluted, distal polished femoral 	9 -21mm diameter, greater than 	$6,220.00

Stem, long	long stem & neck, bowed and straight 	200mm length

with Calcar Replacement

DY511	SROM Femoral Stem Long	Titanium, fluted, distal polished femoral 	9 -21mm diameter, greater than 	$5,720.00

long stem & neck, bowed and straight	200mm length

Mod2St

Stryker Australia Pty Ltd

SR046	Stryker Modular Revision Hip System	Modular Long Bowed Titanium Polished 	Length 217mm, 267mm and 	$5,520.00	$6,500.00

Fluted Stem	317mm. Diamter 11mm-26mm

Mod2StA

Global Orthopaedic Technology

GO012	UniSyn Hip Fluted Long Femoral Stem	Titanium, highly polished, fluted, long, 	>200mm	$5,520.00	$5,920.00

straight & bowed

Mod2StCalcar

Smith & Nephew Surgical Pty Ltd

SN818	Emperion Revision Hip	Long Stem polished Modular Titanium 	+10, +20mm	$5,788.00

Calcar Build-up,

Prostheses List by Category, Groups and Sponsor	Page 365 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mod3StA

Exactech Australia

EX019	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 200mm	$5,520.00

EX020	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 250mm	$5,520.00

EX021	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 300mm	$5,520.00

Orthotech Pty Ltd

OH116	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 200mm	$5,520.00

OH117	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 250mm	$5,520.00

OH118	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 300mm	$5,520.00

Group 09 - Uncemented, Long stem, Special feature - Calcar Replacement

Johnson & Johnson Medical Pty Ltd

DP121	Solution Calcar Replacement Femoral 	CoCr calcar replacement stem, 	Sizes 7-9inch (175-225mm)	$6,900.00

uncemented, beaded (Porocoat)

Smith & Nephew Surgical Pty Ltd

SN271	Echelon	Cobal Chrome, beaded, HA, long with 	Left/Right, 15 and 30mm,  Sizes	$6,900.00	$7,107.00

11-22

Stryker Australia Pty Ltd

ST589	Osteonics hip prostheses	Restoration cacar replacement stem 	205mm length - stem sizes 8-14	$6,900.00

15mm  titanium - HA coated

Group 10 - Thrust Plates

Zimmer Pty Ltd

ZI349	Thrust Plate Prosthesis	Allopro Thrust Plate - Ti alloy	38 to 44mm	$1,773.00

ZI350	Thrust Plate Prosthesis	Allopro Lateral Plate - Ti alloy	Std & Long (15 & 25 deg)	$1,450.00

ZI351	Thrust Plate Prosthesis	Allopro Threaded bolt - CoCr alloy	70 to 89mm	$1,177.00

ZI352	Thrust Plate Prosthesis	Allopro Cortical Screw - SS	36, 60mm	$225.00

Group 11 - Monoblock Hemis

B Braun Australia Pty Ltd

BB047	Downs Austin-Moore Hip	Stem	39-54mm	$615.00

Prostheses List by Category, Groups and Sponsor	Page 366 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BB048	Downs Thompson Stem	Stem	38-55mm	$615.00

Biomet Australia Pty Ltd

BI060	Austin Moore Self Locking Hip 	Straight Standard Femoral Prostheses, 	38-55mm	$615.00

Prosthesis System	Titanium

BI062	FR Thompson Hip Prosthesis System	Modular Curved Femoral Stem, Titanium.	38mm - 55mm 	$615.00

Johnson & Johnson Medical Pty Ltd

DP167	Thompson Hip	Stainless steel (Ortron 90), Thompson 	head size 40-54	$615.00

unipolar monoblock femoral component

DP168	Austin Moore Hip Prosthesis	Stainless steel (Ortron 90), AMP unipolar 	Head size 38-60mm	$615.00

monoblock femoral component

Orthotech Pty Ltd

OH285	JRI Austin Moore Total Hip System	Cementless femoral stem	Head sizes range from 39mm - 	$615.00

56mm

OH299	JRI Total Hip System	JRI Austin Moore Standard Stems 	Head Sizes range from 39mm - 	$615.00

Hemiarthroplasty. These prusct has an 	56mm

all-in-one head and stem

Smith & Nephew Surgical Pty Ltd

SM037	Fracture Head Unipolar Femoral Head	Stainless Steel or CoCr	38-60 S/M	$615.00

SN277	Endoprosthesis	CoCr	38 - 54mm	$615.00

Stryker Australia Pty Ltd

HW025	Austin Moore Endoprosthesis	Long Stem - Vitallium cobalt chrome 	Head size 38 to 63	$615.00	$800.00

HW026	Austin Moore Endoprosthesis	Standard Stem - Vitallium	105-165mm length, Head size: 	$615.00

38 to 57

Zimmer Pty Ltd

ZI008	Zimmer Austin Moore 	Stainless Steel	Sizes 38 - 60	$615.00	$700.00

SCP

Stryker Australia Pty Ltd

SK196	Exeter Hip System - ETS 	Orthinox Stainless Steel Endoprosthesis 	40mm Offset body with 	$1,500.00

(endoprosthesis trauma stem)	unipolar monoblock	monoblock head sizes 38mm,

40mm, 41mm, 42mm, 43mm,

44mm, 45mm, 46mm, 47mm,

48mm, 49mm, 50mm, 52mm,

Prostheses List by Category, Groups and Sponsor	Page 367 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 12 - Femoral Neck

Advanced Surgical Technologies

AD236	Profemur Total Hip System	Titanium Femoral Necks	Length 27 - 38.5mm; Neutral to 	$1,227.00

Ante/Retro - Varus Valgus 2

AD271	SLR Bipolar Acetabular Liners	UHMWPE	22mm - 32mm ID, ranging from	$458.00

38mm to 65mm

B Braun Australia Pty Ltd

BB296	Metha - Modular neck adaptors	Modular neck adaptors made from CoCr  	CCD - 130°, 135 °, 140°; Offset	$1,227.00

- 0mm, -5mm ,+5mm; Version

- 7.5° left ante/right retro, 0 °,

7.5 ° left retro/right ante

Biomet Australia Pty Ltd

BI129	Mallory Head Hip System	Acetabular shell, UHMWPE	40-80mm	$1,872.00

Corin Australia Pty Ltd

CR101	Modular Neck for Acor & Integrale 	Titanium neck, with varying alignments 	4 sizes	$1,227.00

Femoral Stems	& tapers

Dj Orthopaedics Pty Ltd

DD028	R120 Femoral Neck	CoCr, varying offsets & versions	32-38mm length, varying degrees	$1,227.00	$3,000.00

ESKA Australia

EK034	Adapter Femoral Neck	CoCr, varying versions & offsets	One Size	$1,227.00

Finsbury Orthopaedics Australia Pty Ltd

FI042	Modula SC Neck	The complete series of MODULA SC 	OX, OY, OZ, OA, OB, OC, 9X, 	$1,227.00

necks, all patented, consists of 15 sizes 	9Y, 9Z, 9A, 9B, 9C, 9AA, 9BB,

and makes it possible to optimise the 	9CC

reciprocal position of the stem and neck

cup on the basis of the articular needs of

the patient, by restoring the physiological

FOL Technology PTY Ltd

FO021	Multifit Modular Neck	Modular Neck	S, M, L	$1,227.00

Global Orthopaedic Technology

GO139	R120 Femoral Neck	CoCr, varying offsets & versions	32-38mm length, varying degrees	$1,227.00	$3,000.00

Prostheses List by Category, Groups and Sponsor	Page 368 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH184	Modular U Necks	Cobalt chrome	Standard, varus, valgus, 	$1,227.00

antiverted right, antiverted left

Lima Orthopaedics Australia Pty Ltd

LC004	Lima F2L modular neck 	Titanium	Short & Long (Straight & 	$1,227.00	$1,250.00

LC014	Sam-Fit modular neck	Modular neck	S1-S6, L1-L6	$1,227.00

LC029	H-Max Femoral neck	Modular neck	1-6	$1,227.00

LSS Surgical Pty Limited

LS091	Profemur Total Hip System	Titanium Femoral Necks	Length 27 - 38.5mm; Neutral to 	$1,227.00

Ante/Retro - Varus Valgus 2

LS118	SLR Bipolar Acetabular Liners	UHMWPE	22mm - 32mm ID, ranging from	$458.00

38mm to 65mm

Smith & Nephew Surgical Pty Ltd

SN898	MDF Revision System	Modular Neck - CoCr highly polished 	24mm - 36.5mm	$1,227.00	$2,615.00

trapezoidal for MDF stem/MIS stem

multiple options of version height and

Stryker Australia Pty Ltd

SK444	ABG II Modular Hip System	Neck for the ABGII  stem  	Long & Short	$1,227.00

SK446	Rejuvinate SPT Femoral Hip System	Neck for Rejuvinate SPT Stem 	30-38mm	$1,227.00

Zimmer Pty Ltd

ZI553	M/L Taper Kinectiv Neck	Neck component for M/L taper stem	size K, S, A, E, P, X, B, G, R, 	$1,227.00

C, J, D, K1, S1, AA, E1, P1,

X1, K2, E2, BB, G1, R1 ,S2,

P2, G2, CC, J1, X2, R2, J2, DD

Mod3zA

Exactech Australia

EX024	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	$1,727.00

Orthotech Pty Ltd

OH061	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	$1,727.00

Z

Corin Australia Pty Ltd

CR114	Extreme Hip System Extended Neck	Femoral neck with extension for locking 	4 sizes	$1,727.00

screw for stem

Prostheses List by Category, Groups and Sponsor	Page 369 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM091	Apex Global & K2 & MSA Femoral Neck	Titanium with lateral extension for stem 	25mm - 35mm to 35mm - 	$1,727.00	$3,200.00

connection

Global Orthopaedic Technology

GO014	UniSyn Hip Complex Neck	Titanium, with lateral extension for stem 	30-36mm non calcar, 45-55mm 	$1,727.00	$3,520.00

connection, includes calcar & non calcar 	for calcar

replacement necks, separate locking bolt

Portland Orthopaedics (Aust) Pty Ltd

PD005	Margron DTC Hip Replacement	Femoral Modular Neck	Y, Z, AZ, A, B, C, BA, CA, CB, 	$1,727.00

B+4, C+6, CB+6; 31mm to

52mm lateral offset; 23mm to

35mm vertical height

PD022	M-COR Femoral Neck	Titanium Neck for M-COR System with 	31mm to 47mm lateral offset, 	$1,727.00

lateral extension for stem connection. 	23mm to 33mm vertical height,

Contains threaded sealing plug.  	3 lengths

Hip B - Femoral Heads

Global Manufacturing Technology Pty Ltd

GM144	SMR Femoral Stem	SMR Distal Component <200mm	SMR Distal Component 14 x 	$3,120.00	$4,784.00

160mm, SMR Distal Component

16 x 160mm, SMR Distal

Component 17 x 160mm, SMR

Distal Component 18 x 160mm,

SMR Distal Component 19 x

160mm, SMR Distal Component

20 x 160mm, SMR Distal

Component  22 x 160mm, SMR

Distal Component 14 x 200m,

SMR Distal Component 16 x

200m SMR Distal Component

18 x 200mm, SMR Distal

Component 20 x 200mm, SMR

Distal Component 22 x 200mm

Prostheses List by Category, Groups and Sponsor	Page 370 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 13a - Conventional Femoral Head, ≤32mm, Stainless steel

Corin Australia Pty Ltd

CR045	Femoral Head	Stainless Steel Femoral Head	Dia 22, 26, 28 & 32mm, Short, 	$800.00

Std, Long & Extra Long Neck

CR143	metallic femoral head	M30NW femoral head with 10/12 taper	28mm-32mm with short, 	$800.00

medium or long neck

Lifehealthcare Pty Ltd

LH065	Groupe Lepine Total Hip Replacement	Stainless Steel Head	.-5mm/0mm/+5mm/ +10mm	$800.00

Mathys Orthopaedics Pty Ltd

MA028	Mathys Stainless Steel Femoral Heads	Stainless Steel, 	22-32mm	$800.00

Smith & Nephew Surgical Pty Ltd

SN697	Femoral Head	Stainless steel	22-32mm,+0-+16mm	$800.00

Stryker Australia Pty Ltd

HW038	V40 Orthinox Head	Stainless Steel	22 - 28mm dia	$800.00

Zimmer Pty Ltd

ZI052	Femoral Head	Zimaloy - Stainless Steel	22mm, 28mm, 32mm	$800.00

Group 13b - Conventional Femoral Head, ≤32mm, Cobalt Chrome

Advanced Surgical Technologies

AD269	Femoral Head	Femoral Head Cast Cobalt Chrome Alloy	22.5mm - 32mm Femoral Head 	$800.00

and neck ranging from -3.5mm

Austofix

AX047	Hyperion Cobalt Chrome Femoral Head	Cobalt Chrome, 12/14 Taper	Sizes 22, 28 and 32 mm	$800.00

B Braun Australia Pty Ltd

BB246	Metal Head	Isodur CoCr Femoral Head	22.5mm, 26mm, 28mm, 32mm	$800.00

Biomet Australia Pty Ltd

BI094	Mallory Head Hip System	Femoral Head, Offset, Chrome Cobalt	28,32mm	$800.00	$1,273.00

BI973	Modular Head Implants	Femoral Modular Head	22 - 32mm diameter, - 6 to 	$800.00	$988.00

=12mm neck, collared, no collar

Prostheses List by Category, Groups and Sponsor	Page 371 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Corin Australia Pty Ltd

CR029	CoCr Femoral Head	CoCr femoral head 	22,26,28,32mm with 3 choices 	$800.00

of taper

CR135	METS CoCr Femoral Head	CoCr	28mm-32mm	$800.00

Dj Orthopaedics Pty Ltd

DD039	R120 Metal Femoral Head	R120 Metal Femoral Head <32mm	28mm, 32mm	$800.00	$1,100.00

DD050	FMP Acetabular System - CoCro 	CoCro femoral heads in 22mm and 32mm	22mm in +0,+4,+8mm and 	$800.00

Femoral Heads	 diameters to fit with FMP acetabular 	32mm in -4.0, +4, +8, +12mm,

liners and FMP acetabular shells

ESKA Australia

EK060	ESKA Metal Femoral Head	CoCr	28mm - 32mm	$800.00	$850.00

Exactech Australia

EX022	Exactech Femoral Head 	Cobalt Chrome Head	-2 to -5mm, +0 to 10mm	$800.00	$1,248.00

Finsbury Orthopaedics Australia Pty Ltd

FI016	Finsbury Modular Heads	Cobalt Chromium	Diameter 22-26-28-32mm	$800.00

FI040	Adler CoCr Head	Cobolt Chrome Femoral Heads for Adler 	Short, Medium, Long in 22 and 	$800.00

Stems 22,28mm OD	28 mm

FOL Technology PTY Ltd

FO006	Samo acetabular cup femoral head	CoCr femoral head	S, M, L and XL	$800.00

Global Manufacturing Technology Pty Ltd

GM056	SMR Femoral Head	CoCr	22 to 40mm	$800.00	$1,144.00

GM092	Apex Global Femoral Head	CoCr	28mm to 40mm	$800.00	$1,100.00

GM146	BioBall Femoral Head	Femoral Head Vivium < 32mm	28mm,  32mm	$800.00	$1,144.00

Global Orthopaedic Technology

GO009	Consensus Femoral Head	CoCr	22-32mm	$800.00	$1,144.00

GO174	APEX K1 Hip System	APEX/K1 femoral heads, Cobalt Chrome	28mm, 32mm Diameters size 	$800.00

range -3.5mm to +7.0mm

GO186	R120 Metal Femoral Head	R120 Metal Femoral Head <32mm	28mm, 32mm	$800.00	$1,100.00

Johnson & Johnson Medical Pty Ltd

DP124	DePuy Femoral Head	CoCr Femoral Head Various Tapers & 	22-32 mm 	$800.00

Neck Lengths

Prostheses List by Category, Groups and Sponsor	Page 372 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lima Orthopaedics Australia Pty Ltd

LC032	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL, XXL	$800.00	$845.00

Link Orthopaedics  Australia

LO022	Link Prosthesis Femoral Head	Prosthesis Head "B" CoCrMo	Short/medium-	$800.00

LSS Surgical Pty Limited

LS030	Gladiator Bipolar Hip System	Gladiator bipolar hip system, bipolar CoCr	22mm short, 28mm short, 	$800.00

head 22mm to 32mm	medium, long 32mm short

LS116	Femoral Head	Femoral Head Cast Cobalt Chrome Alloy	22.5mm - 32mm Femoral Head 	$800.00

and neck ranging from -3.5mm

Mathys Orthopaedics Pty Ltd

MA469	Mathys CoCr Femoral Head 	Hip Prosthesis Femoral Head CoCrMo 	28 mm & 32mm, 	$800.00

≤32mm

Medacta Australia Pty Ltd

MU005	Quadra Hip Femoral Head	CoCr, 	Dia 28mm, (S to XXL) or 	$800.00

32mm (S to XXL)

Medartis

EO028	ESOP HA	Femoral Head CoCr	22.2 -32mm	$800.00

EO050	Peter Brehm CoCr femoral heads	CoCr femoral Ball	Diameter 28 & 32, small, 	$800.00

medium and large

Orthotech Pty Ltd

OH062	Exactech Femoral Head 	Cobalt Chrome Head	-2 to -5mm, +0 to 10mm	$800.00	$1,248.00

OH293	JRI Femoral Head	Cobalt Chrome Femoral; Heads	28mm, and 32mm head sizes	$800.00	$950.00

Portland Orthopaedics (Aust) Pty Ltd

PD033	Femoral Head- Cobalt Chrome	CoCr Femoral head	28mm, 32mm	$800.00

Smith & Nephew Surgical Pty Ltd

SM055	Universal Femoral Head	Chrome Cobalt	=< 32mm	$800.00

SN280	Femoral Head	CoCr	<=32mm	$800.00

Stryker Australia Pty Ltd

HW032	Stryker CoCr Femoral Head	22, 26, 28, 30, 32mm	$800.00

Zimmer Pty Ltd

ZI051	Femoral Head	Zimaloy - Co Cr	22mm, 28mm, 32mm	$800.00

ZI358	Durasul Ballhead for Inserts	CoCr femoral head	22, 28, 32	$800.00

Prostheses List by Category, Groups and Sponsor	Page 373 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI364	Natural Hip System	CoCr femoral head	22 to 32mm	$800.00

ZI380	Femoral Head	Head - Metal (Zweymuller Allopro) - 	22mm, 28mm, 32mm	$800.00

E

Zimmer Pty Ltd

ZI362	Natural Hip System	Eccentric Ball Heads -  CoCr alloy	28/14 (S,M,L)	$1,000.00

Group 13c - Conventional Femoral Head, ≤32mm, Alumina

Advanced Surgical Technologies

AD122	Transcend/Lineage Articulation System	Head ceramic	28mm, 32mm, 3 lengths	$2,000.00

Austofix

AX065	Austofix Ceramic System	Biolox Ceramic Femoral Head	28 and 32 mm	$2,000.00

B Braun Australia Pty Ltd

BB250	Ceramic Head	Biolox Ceramic Head	Size 26 - 32mm diameters, 	$2,000.00

short, standard and long

Biomet Australia Pty Ltd

BI058	Modular Ceramic System	Ceramic Head, Aluminium Alloy, biolox 	28-32mm -6mm to +12mm	$2,000.00

Corin Australia Pty Ltd

CR065	Ball Heads 12 - 14 Taper (Alumina)	Ceramic femoral head, bilox forte	≤32mm	$2,000.00

Dj Orthopaedics Pty Ltd

DD041	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head 	28mm - 3.5mm to +3.5mm       	$2,000.00

32mm - 4.0mm to +4.0mm

ESKA Australia

EK009	Eska Ceramic Femoral Head	Ceramic, biolox forte	28-32mm	$2,000.00

Exactech Australia

EX023	Exactech Femoral Head 	Ceramic/Femoral Head, Biolox Forte	-2 to -5mm, +0 to +10mm	$2,000.00	$2,100.00

Finsbury Orthopaedics Australia Pty Ltd

FI017	Finsbury Modular Heads	Ceramic	Diameter 22-26-28-32mm	$2,000.00

FI033	Delta modular head	Delta ceramic modular head	32mm	$2,000.00	$2,400.00

FI037	Adler Ceramic Head <32	Ceramic Femoral Heads for Adler Stems. 	Short, Medium, Long in 28 and 	$2,000.00

Biolox Forte and Delta. 28,32mmOD	32mm

Prostheses List by Category, Groups and Sponsor	Page 374 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

FOL Technology PTY Ltd

FO005	Samo acetabular cup ceramic head	Ceramic femoral head	S, M, L, and XL	$2,000.00

Global Manufacturing Technology Pty Ltd

GM057	SMR Ceramic Femoral Head	Ceramic, Biolox Forte	28 to 36mm	$2,000.00	$2,055.00

GM093	Apex Global Ceramic Femoral Head	Ceramic, Biolox Forte	28mm to 36mm	$2,000.00

GM136	Edinburgh Ceramic Femoral Head	Ceramic, Biolox Forte	28mm Small, Medium, Long      	$2,000.00

32mm

Small, Medium, Long

Global Orthopaedic Technology

GO010	Consensus Femoral Head	Ceramic, biolox forte	28-32mm	$2,000.00	$2,080.00

GO173	APEX K1 Hip system	APEX/K1 Femoral heads, Alumina 	28mm, 32mm and 36mm 	$2,000.00

diameter size range -3.mm to

+4.0mm inclusive

GO188	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head 	28mm - 3.5mm to +3.5mm       	$2,000.00

32mm - 4.0mm to +4.0mm

Johnson & Johnson Medical Pty Ltd

JJ751	DePuy Ceramic Heads	Ceramic (Biolox Forte) Femoral head 	≤32mm	$2,000.00

various tapers & neck lengths

Lifehealthcare Pty Ltd

LH220	10/12/14 Alumina Head BOTA	Alumina Head biolox forte	28mm (-3.5mm, 0mm, 	$2,000.00

+3.5mm); 32mm (-4mm, 0mm,

Lima Orthopaedics Australia Pty Ltd

LC034	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL	$2,000.00	$2,100.00

Link Orthopaedics  Australia

LO023	Link Prosthesis Femoral  Head	Prosthesis Head "A" Biolox forte Ceramic	Short/medium - short /medium	$2,000.00

LSS Surgical Pty Limited

LS039	Transcend/Lineage Articulation System	Head ceramic	28mm, 32mm, 3 lengths	$2,000.00

Mathys Orthopaedics Pty Ltd

MA020	Mathys Ceramic Femoral Head	Ceramic, Bionit (alumina)	diameter 28-32mm	$2,000.00

Medacta Australia Pty Ltd

MU006	Quadra Hip Ceramic Femoral Head	Ceramic, Biolox Forte	Dia 28mm (S,M,L) 32mm 	$2,000.00

Prostheses List by Category, Groups and Sponsor	Page 375 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medartis

EO003	Biolox - Forte Ceramic Head	Biolox Ceramic Head	Diameter 28-32, S,M,L neck 	$2,000.00

EO029	ESOP HA	Femoral Head Alumina Ceramic	28 and 32mm Diameter	$2,000.00

Orthotech Pty Ltd

OH137	Exactech Femoral Head 	Ceramic/Femoral Head, Biolox Forte	-2 to -5mm, +0 to +10mm	$2,000.00	$2,100.00

OH292	JRI Ceramic femoral Head 	Total Hip Replacement (THR) Ceramic 	12 / 14 Taper, Biolox Delta 	$2,000.00	$2,080.00

Femoral Heads, Biolox Delta Ceramic, 	Ceramic head sizes 28mm,

and Alumina Oxide	32mm. Alumina Oxide head

Portland Orthopaedics (Aust) Pty Ltd

PD027	Ceramic Femoral Head	Ceramic Femoral Head - Biolox Forte	28mm, 32mm	$2,000.00

Smith & Nephew Surgical Pty Ltd

SM035	Universal Ceramic Femoral Head	Ceramic, Biolox Forte	S,M,L - 28mm/32mm	$2,000.00

SN299	Femoral Head	Ceramic, AlO3	<=32mm	$2,000.00

Stryker Australia Pty Ltd

HW017	Stryker Biolox Forte Alumina Femoral 	28, 32mm	$2,000.00

Zimmer Pty Ltd

ZI055	Ceramic Femoral Head	Ceramic Head 12/14 Taper, Biolox Forte	28 - 36mm	$2,000.00	$2,150.00

ZI346	Ceramic Femoral head for hip prosthesis 	Femoral Head - Biolox Ceramic	28 to 32mm	$2,000.00

ZI355	Cerasul - Ceramic	Ceramic Femoral Head	28mm 	$2,000.00

ZI381	Ceramic Head - Sulox	Head - Ceramic	22 to 32mm	$2,000.00

Group 13f - Conventional Femoral Head, ≤32mm, Other

Advanced Surgical Technologies

AD340	Delta Modular Heads	Biolox Delta Heads	28mm, 32mm in -3.5mm, 0mm,	$2,100.00

+ 3.5 neck lengths

Corin Australia Pty Ltd

CR154	Ceramic Modular Head	Biolox Delta	28-40mm	$2,100.00

Global Manufacturing Technology Pty Ltd

GM131	Biolox Delta Ceramic Femoral Heads	Biolox Delta Ceramic Femoral Heads 	Biolox Delta Femoral Head 	$2,100.00

28mm 32mm	28mm - -3.5mm to +3.5mm and

Biolox Delta Femoral Head

32mm - 3.5mm to +7mm

Prostheses List by Category, Groups and Sponsor	Page 376 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ752	DePuy Delta Heads	Delta femoral head various tapers & neck	≤32mm	$2,100.00	$2,300.00

lengths

LSS Surgical Pty Limited

LS149	Delta Modular Heads	Biolox Delta Heads	28mm, 32mm in -3.5mm, 0mm,	$2,100.00

+ 3.5 neck lengths

Mathys Orthopaedics Pty Ltd

MA482	Ceramys Ceramic Femoral Head	Ceramic, zirconia alumina combination 	28 L,  28 M, 28 S, 32 L, 32 M, 	$2,100.00	$2,704.00

Portland Orthopaedics (Aust) Pty Ltd

PD036	Ceramic Femoral Head	Ceramic Femoral Head - Delta	28mm, 32mm	$2,100.00

Smith & Nephew Surgical Pty Ltd

SM144	Universal Delta Ceramic Femoral Head	Delta Ceramic	<=32 - S, M, L, XL,XXL	$2,100.00

SM165	Revision Delta Ceramic Femoral Head	Biolox Option Head	≤32mm	$2,100.00	To be used with Billing Code

SN687	Femoral Head	12/14, 14/16 Taper, Oxinium	22 - 32mm, -3 - +16mm	$2,100.00	$2,410.00

Stryker Australia Pty Ltd

SR023	Stryker Revision Femoral Head, Biolox 	With pre assembled titanium sleeve	28, 32mm	$2,200.00

Forte Alumina

SR026	Stryker CoCr Femoral Head	Cobal Chrome with LFIT Treatment	22-32mm	$2,100.00

SR028	Stryker Delta Ceramic Heads	Femoral Head - Delta Ceramic 	<32mm	$2,100.00

Zimmer Pty Ltd

ZI538	Ceramic primary & revision femoral head	Biolox Delta Ceramic	28 & 32mm	$2,100.00	$2,175.00

Sl

Orthotech Pty Ltd

OH294	JRI Total Hip System	Ceramic femoral head with sleeve 	28, 32, 36mm	$2,000.00	$2,100.00

Sv

Mathys Orthopaedics Pty Ltd

MA484	Ceramys Ceramic Revision Femoral Head	Ceramic, zirconia alumina combination, 	28 L, 28 M, 28 S, 28 XL, 32 L, 	$2,100.00	$2,704.00

supplied with titanium taper sleeve	32 M, 32 S, 32 XL, 28, 32

Medacta Australia Pty Ltd

MU079	BIOLOX OPTION	Ceramic Biolox Delta with Titanium 	Diameter 28 S.M.L.XL, 	$2,300.00	$2,370.00

diameter 32 S,M,L,XL

Prostheses List by Category, Groups and Sponsor	Page 377 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 13g - Conventional Femoral Head, ≤32mm, Zirconium

Biomet Australia Pty Ltd

BI927	Modular Ceramic System	Ceramic Head, Zirconium	28-32mm -6mm to +12mm	$1,900.00

Group 14a - Conventional Femoral Head, >32mm, Stainless steel

Global Manufacturing Technology Pty Ltd

GM137	Edinburgh Head	Femoral Head Stainless Steel	36mm, -4.0mm to +8.00mm	$950.00

GM145	BioBall Femoral Head	Femoral Head Vivium > 32mm	36mm to 58mm	$811.00	$1,144.00

Mathys Orthopaedics Pty Ltd

MA467	Mathys Unipolar Femoral Head	Stainless steel, unipolar head	42 mm - 58mm	$811.00

Medacta Australia Pty Ltd

MU018	Medacta Unipolar Head	Stainless steel, solid head	Size 40-56mm with variable 	$811.00

Smith & Nephew Surgical Pty Ltd

SN813	Femoral Head	Stainless steel	>32mm,+0-+16mm	$811.00

Stryker Australia Pty Ltd

HW395	V40 Orthinox Head	Stainless Steel	>32mm	$811.00

Zimmer Pty Ltd

ZI498	Femoral Head	Zimaloy - Stainless Steel	36mm, 40mm	$811.00

Group 14b - Conventional Femoral Head, >32mm, Cobalt Chrome

Biomet Australia Pty Ltd

BI875	Endo II Head	Modular Head - CoCr	41 mm through 61mm	$950.00	Used with BI876

BI877	Freedom 36 mm Modular Head	Modular Head	36mm,  -6mm to +9mm	$950.00	$988.00

BI974	Modular Head Implants	Femoral Modular Head	36mm diameter , - 6 to + 12mm	$950.00	$1,100.00

neck, collared, no collar

Corin Australia Pty Ltd

CR084	Unipolar Modular Head, CoCr	CoCr Modular Head	38 - 60mm, short, standard and 	$950.00

long necks

Dj Orthopaedics Pty Ltd

DD038	R120 Metal Femoral Head	R120 Metal Femoral Head >32mm	36mm	$950.00	$1,100.00

Prostheses List by Category, Groups and Sponsor	Page 378 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DD049	Foundation Unipolar System - CoCr 	CoCr unipolar femoral heads, 40mm to 	40mm to 64mm in 2mm 	$950.00

Unipolar Femoral Heads	64mm. Unipolar Femoral Heads

Exactech Australia

EX003	L-Series Unipolar Head	L-Series unipolar is a modular 	unipolar head: 42mm, 43mm, 	$950.00

endoprosthesis consisting of a truncated 	44mm, 45mm, 46mm, 47mm,

spherical head and interchangeable neck 	48mm, 49mm, 50mm, 51mm,

sleeves. The device is fully machined 	52mm, 53mm, 54mm, 55mm

from cobalt chrome conforming to 	 taper sleeve: 12/14-3.5mm,

12/14 +0mm, 12/14 +3.5mm,

12/14 +7mm, 12/14 +10mm

Global Manufacturing Technology Pty Ltd

GM066	BioBall Femoral Head	Femoral Head Vivium > 32mm	36mm to 58mm	$950.00	$1,144.00

GM138	Edinburgh Femoral Head CoCr	Femoral Head CoCr 28mm to 32mm	Small, Medium, Long	$800.00	$936.00

Global Orthopaedic Technology

GO178	APEX K1 Hip System	APEX/K1 Femoral heads, Cobalt Chrome	36mm Diameter size range - 	$950.00	$988.00

3.5mm to +7.0mm inclusive

GO185	R120 Metal Femoral Head	R120 Metal Femoral Head >32mm	36mm	$950.00	$1,100.00

Johnson & Johnson Medical Pty Ltd

DY026	Elite Unipolar Femoral Head	CoCr unipolar head	42 - 60 mm	$950.00

DY402	Cathcart Unipolar Head	CoCr Unipolar Femoral head. Needs to be	41 to 60mm	$950.00

used with DY403 Head Taper insert

Lima Orthopaedics Australia Pty Ltd

LC033	Lima Total Hip replacement	CoCr Femoral Head	S, M, L, XL	$950.00	$1,000.00

LSS Surgical Pty Limited

LS031	Gladiator Bipolar Hip System Bipolar 	Gladiator Bipolar Hip System Bipolar 	36mm Short Medium Long	$950.00

CoCR Head	CoCR Head 36mm

Portland Orthopaedics (Aust) Pty Ltd

PD026	Femoral Head - Cobalt Chrome	CoCr femoral head	36mm to 44mm	$950.00

Smith & Nephew Surgical Pty Ltd

SN308	Unipolar Head	Co Cr	12/14 42 - 61mm	$950.00	Used with SN307

SN809	Femoral head	CoCr	>32mm	$950.00

Stryker Australia Pty Ltd

ST570	UNITRAX	Vitallium alloy /CoCr	38-64mm OD 2mm increments	$950.00

Prostheses List by Category, Groups and Sponsor	Page 379 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI054	Femoral Head	Cobal Chrome femoral Head	38 - 63mm	$950.00

ZI347	Femoral Head	CoCr femoral head	42 to 60 	$950.00

ZI359	Large Zimmer Femoral Heads	CoCr femoral head	34 - 38mm	$950.00

ZI499	Femoral Head	Zimaloy - Co Cr	36mm, 40mm	$950.00

ZI500	Femoral Head	Head - Metal (Zweymuller Allopro) - 	36mm, 38mm	$950.00

Group 14c - Conventional Femoral Head, >32mm, Alumina

Advanced Surgical Technologies

AD290	Transcend/Lineage Articulation System	Head ceramic	36mm, 3 lengths	$1,889.00

Austofix

AX064	Austofix Ceramic System	Biolox ceramic femoral head	36mm	$2,055.00

B Braun Australia Pty Ltd

BB302	Ceramic Head	Biolox Ceramic Head	36mm	$2,055.00

Corin Australia Pty Ltd

CR097	Alumina Head	Ceramic femoral head, biolox forte	>32mm	$2,055.00

Dj Orthopaedics Pty Ltd

DD040	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head > 	36mm	$2,055.00

Finsbury Orthopaedics Australia Pty Ltd

FI041	Adler Ceramic Head >32	Ceramic Femoral Heads for Adler Stems. 	Short, Medium, Long in 36 and 	$2,055.00	$2,436.00

Biolox Forte and Delta. 36,40mm OD	40mm

Global Manufacturing Technology Pty Ltd

GM135	Edinburgh Ceramic Femoral Head	Ceramic, Biolox Forte	36mm, -4.0mm to +8.00mm	$2,055.00

GM139	Bio Ball Femoral Head Biolox Forte	BioBall Femoral Head Biolox Forte	36mm	$2,055.00

GM140	Bio Ball Femoral Head Biolox Forte	Bio Ball Femoral Head Biolox Forte	28mm,  32mm	$2,000.00

Global Orthopaedic Technology

GO179	APEX K1 Hip System	APEX/K1 Femoral heads, Alumina 	36mm Diameter size range - 	$2,055.00

3.mm to +4.0mm inclusive

GO187	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head > 	36mm	$2,055.00

Lima Orthopaedics Australia Pty Ltd

LC035	Lima Total Hip replacement	Ceramic Femoral Head (Biolox Delta)	S, M, L, XL	$2,055.00	$2,350.00

Prostheses List by Category, Groups and Sponsor	Page 380 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS126	Transcend/Lineage Articulation System	Head ceramic	36mm, 3 lengths	$1,889.00

Mathys Orthopaedics Pty Ltd

MA468	Mathys Ceramic Large Femoral Head 	Ceramic, Bionit (alumina)	36mm (S,M,L,XL,XXL)	$2,055.00

MA470	Mathys Unipolar Ceramic Femoral Head	Ceramic, Bionit (alumina)	42-54mm	$2,055.00

Medacta Australia Pty Ltd

MU007	Quadra Hip Large Ceramic Femoral 	Ceramic, Biolox Forte, larger	36mm (S,M,L)	$2,055.00

Orthotech Pty Ltd

OH300	JRI Total Hip System	Total Hip Replacement (THR) Ceramic 	12 / 14 Taper, Biolox Delta 	$2,055.00	$2,100.00

Femoral Heads, Biolox Delta Ceramic, 	Ceramic head sizes 36mm.

and Alumina Oxide	Alumina Oxide head sizes 28mm

Portland Orthopaedics (Aust) Pty Ltd

PD028	Ceramic Femoral Head	Ceramic Femoral Head	36 to 44mm	$2,055.00

Smith & Nephew Surgical Pty Ltd

SM094	Universal Ceramic Femoral Head	Ceramic Biolox Forte	>32mm	$2,055.00

SN811	Reflection	Head Ceramic, AlO3, Biolox Forte	>32mm	$2,055.00

Stryker Australia Pty Ltd

HW394	Stryker large ceramic femoral head 	Biolox Forte	36mm - 60mm	$2,055.00

SK404	Stryker large ceramic femoral head 	Alumina Femoral Head	38mm-60mm	$2,055.00

Group 14f - Conventional Femoral Head, >32mm, Other

Advanced Surgical Technologies

AD341	Delta Modular Heads	Biolox Delta Heads	36mm in -3.5mm, 0mm, +3.5 	$2,300.00

neck lengths

Biomet Australia Pty Ltd

BH036	Biolox Delta Option Ceramic Femoral 	ceramic modular head, biolox delta	36mm to 60mm	$2,300.00	$2,800.00

Heads

ESKA Australia

EK036	ESKA Cera Metal Femoral Head	CoCr, with bonded ceramic (alumina) 	36-48mm	$2,300.00

bearing surface, large diameter

EK091	Ceramic Femoral Head	Ceramic Femoral Head - Delta	36 to 44mm	$2,300.00

Prostheses List by Category, Groups and Sponsor	Page 381 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI034	Delta modular head	Delta ceramic modular head	36-40-44-48mm	$2,055.00	$2,800.00

Global Manufacturing Technology Pty Ltd

GM108	BioBall Delta Femoral Head	Femoral Head Biolox Delta	36mm, 38mm, 40mm, 44mm, 	$2,300.00

48mm

GM132	Biolox Delta Ceramic Femoral Heads	Biolox Delta Femoral Head 36mm	Biolox Delta Femoral Head 	$2,300.00

36mm -4.0mm to +8.0mm

Johnson & Johnson Medical Pty Ltd

DY464	DePuy Delta Ceramic Femoral Head	Ceramic delta >32mm	>32mm	$2,300.00

Lifehealthcare Pty Ltd

LH399	Delta Modular head	Biolox Delta ceramic femoral ball head	>36mm	$2,300.00

LSS Surgical Pty Limited

LS150	Delta Modular Heads	Biolox Delta Heads	36mm in -3.5mm, 0mm, +3.5 	$2,300.00

neck lengths

Mathys Orthopaedics Pty Ltd

MA483	Ceramys Large Ceramic Femoral Head	Ceramic, zirconia alumina combination, 	36 L, 36 M, 36 S	$2,300.00	$2,904.00

large diameters

Portland Orthopaedics (Aust) Pty Ltd

PD035	Ceramic Femoral Head	Ceramic Femoral Head - Delta	36 to 44mm	$2,300.00

Smith & Nephew Surgical Pty Ltd

SM095	Universal Delta Ceramic Femoral Head	Delta Ceramic	>32mm	$2,300.00

SM167	Revision Delta Ceramic Femoral Head	Biolox Option Head	>32mm	$2,300.00	To be used with Billing Code

SN812	Femoral Head	12/14, 14/16 Taper, Oxinium	>32mm, -3 - +16mm	$2,300.00	$2,509.00

Stryker Australia Pty Ltd

SK405	LFIT Femoral Heads	Femoral head with low friction ion 	36mm-72mm	$2,300.00

SR029	Stryker Large Femoral Head - Delta 	Delta Ceramic 	36mm - 50mm	$2,300.00

Ceramic

Zimmer Pty Ltd

ZI539	Ceramic primary & revision femoral head	Biolox Delta Ceramic	36 - 40mm	$2,300.00	$2,500.00

Sv

Mathys Orthopaedics Pty Ltd

MA485	Ceramys Large Ceramic Revision 	Ceramic, zirconia alumina combination, 	36 L, 36 M, 36 S, 36 XL, 36	$2,300.00	$2,904.00

Femoral Head	large diameters, supplied with titanium

Prostheses List by Category, Groups and Sponsor	Page 382 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU080	BIOLOX OPTION	Ceramic Biolox Delta with Titanium Sleeve	Diameter 36 S.M.L.XL	$2,500.00

Group 15 - All metal on metal heads

Dj Orthopaedics Pty Ltd

DD024	FMP Femoral Head	CoCr, metal on metal	28 to 38mm	$2,400.00

Finsbury Orthopaedics Australia Pty Ltd

FI038	Adler Metal on Metal Head	Metal on Metal Articulating Femoral 	Short, Medium, Long in 32,36 	$2,400.00

Heads for Adler Stems 32,36,40mm OD	and 40 mm

Global Orthopaedic Technology

GO132	FMP Femoral Head	CoCr, metal on metal	28 to 38mm	$2,400.00

Johnson & Johnson Medical Pty Ltd

DY215	Pinnacle Femoral Head	CoCr , metal on metal,	28, 36, 40, 44, 48 mm	$2,400.00

Mathys Orthopaedics Pty Ltd

MA029	Metamys Metal on Metal Femoral Head	CoCr, metal on metal	28mm, 32mm, 36mm	$2,400.00

Medacta Australia Pty Ltd

MU056	ROMAX Resurfacing System  - Large 	Adaptor necessary to combine the 	Adaptor 12/14: size S, size M, 	$520.00

Femoral Head Adaptor	ROMAX large femoral head with a 	size L and size XL

MEDACTA hip stem

Zimmer Pty Ltd

ZI382	Metasul Femoral Head	Cobalt Chrome metal on metal 	28 to 40mm alloy	$2,400.00

ZI472	Durom (Metasul) Resurfacing System - 	Forged CoCr femoral head	A1 to L1	$2,400.00

Ballhead

Group 15a - ≤ 32mm

Advanced Surgical Technologies

AD114	Transcend/Lineage Articulation System	Metal femoral head CoCr	28 and 32mm, 4 lengths	$2,400.00

AD308	Transcend/Lineage Articulation System	Metal femoral head CoCr	32mm, 4 lengths	$1,248.00

Biomet Australia Pty Ltd

BI045	Scientific Hip Prostheses System	Head, Chrome Cobalt, Metal on metal	28mm, -6mm to +12mm neck	$2,400.00

BI056	Exceed M2A Femoral Head 	Head, Chrome Cobalt, Metal on metal	28mm, -6mm to +12mm neck	$2,400.00

BI068	Stanmore Hip System	Head, Chrome Cobalt, metal on metal 	28mm, -6mm to +12mm neck	$2,400.00

Prostheses List by Category, Groups and Sponsor	Page 383 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI070	Biomet Taperloc Hip System	Head, Chrome Cobalt, metal on metal 	28mm or 32mm, -6mm to 	$2,400.00

+12mm neck

BI944	M2a 38 Femoral Head	Metal on Metal Femoral Head, Cobalt 	38mm	$2,400.00

Corin Australia Pty Ltd

CR020	Metalok Femoral Head	Metal on metal, CoCr	Head 28mm (short/med/long 	$2,400.00

LSS Surgical Pty Limited

LS034	Transcend/Lineage Articulation System	Metal femoral head CoCr	28 and 32mm, 4 lengths	$2,400.00

LS129	Transcend/Lineage Articulation System	Metal femoral head CoCr	32mm, 4 lengths	$1,248.00

Group 15b - > 32mm

Advanced Surgical Technologies

AD212	CONSERVE Total hip head	CoCr SLT Taper Femoral Head	Sizes 38mm-54mm in 2mm 	$2,400.00	$3,016.00

increments, -3.5 to +3.5 Neck

AD286	BFH Total, A-class	Cobalt Chrome super finished femoral 	36mm to 56mm in 2mm 	$2,400.00	$3,432.00

head. Size range from 36mm to 56mm in 	increments each with - 3.5mm,

2mm increments with 3 head lengths per 	0mm, + 3.5mm head lengths

AD288	Transcend/Lineage Articulation System	Metal femoral head CoCr	36mm, 4 lengths	$1,248.00

Biomet Australia Pty Ltd

BI896	M2A Magnum System	Femoral  Head, Cobalt Chrome, metal on 	38-60mm	$2,400.00	Used with BI895

metal

Corin Australia Pty Ltd

CR016	Optimom Modular Head	Metal on metal, CoCr	>32mm	$2,400.00

ESKA Australia

EK064	Silver Surf Large Metal Head 	CoCr, metal on metal, dimpled, large	36mm - 48mm	$2,400.00

Finsbury Orthopaedics Australia Pty Ltd

FI015	Adept MoM Modular Head	Metal on Metal modular head, CoChr, 	38 - 58mm going up in 2mm 	$2,400.00

12/14 Eurocone	increments. 4 different neck

Global Orthopaedic Technology

GO047	ICON Femoral Head	CoCr, metal on metal, large diameter	38-58mm	$2,400.00

Johnson & Johnson Medical Pty Ltd

DY330	ASR Large Femoral Head	CoCr, large diameter, metal on metal	39-63mm	$2,400.00	Used with DY329

Prostheses List by Category, Groups and Sponsor	Page 384 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS077	CONSERVE Total hip head	CoCr SLT Taper Femoral Head	Sizes 38mm-54mm in 2mm 	$2,400.00	$3,016.00

increments, -3.5 to +3.5 Neck

LS123	BFH Total, A-class	Cobalt Chrome super finished femoral 	36mm to 56mm in 2mm 	$2,400.00	$3,432.00

head. Size range from 36mm to 56mm in 	increments each with - 3.5mm,

2mm increments with 3 head lengths per 	0mm, + 3.5mm head lengths

LS124	Transcend/Lineage Articulation System	Metal femoral head CoCr	36mm, 4 lengths	$1,248.00

Medacta Australia Pty Ltd

MU057	ROMAX Resurfacing System - Large 	Large femoral head for metal-metal 	From diameter 38mm to 	$2,400.00

Femoral Head	articulation	diameter 60mm, every 2mm

Smith & Nephew Surgical Pty Ltd

SN741	Birmingham Modular Femoral Head	Cobalt Chrome	38 - 58mm	$2,400.00

Stryker Australia Pty Ltd

SR051	Mitch Hip System	 Femoral Head Metal on Metal	38mm - 60mm	$2,400.00

E

Johnson & Johnson Medical Pty Ltd

JJ574	ASR XLAnatomic Femoral Head	CoCr, metal on metal, large diameter with	39-63	$2,400.00

large offset taper, used with

XLAnatomic sleeve (JJ575)

Group 16a - Resurfacing, Metal, Cemented

Advanced Surgical Technologies

AD220	CONSERVE PLUS Total Hip 	CoCr Femoral Head - Super Polished	Sizes 36mm - 54mm in 2mm 	$3,350.00

Resurfacing System	increments

AD325	Conserve Plus A-CLASS Resurfacing 	CoCr A-CLASS super finished 	36mm to 56mm in 2mm 	$3,350.00	$5,400.00

resurfacing femoral head	increments each with - 3.5mm,

0mm, + 3.5mm head lengths

Biomet Australia Pty Ltd

BI839	Resurfacing Hip System	Femoral Head CoCr, Cemented	38 - 60mm	$3,350.00

Corin Australia Pty Ltd

CR047	Cormet Resurfacing Head Cemented	CoCr Resurfacing Head	Dia 40 -56mm	$3,350.00

ESKA Australia

EK079	Silver Surf Cemented Resurfacing 	CoCr, metal on metal, cemented with 	38mm - 58mm	$3,350.00

Femoral Head	dimpled articular surface

Prostheses List by Category, Groups and Sponsor	Page 385 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Finsbury Orthopaedics Australia Pty Ltd

FI001	ADEPT MoM Resurfacing Head	Resurfacing Head MoM, Cast CoChr	38-58 going up in 2mm 	$3,350.00

Global Orthopaedic Technology

GO049	ICON Resurfacing Head	CoCr, cemented, resurfacing, metal on 	38-58mm head	$3,350.00

Johnson & Johnson Medical Pty Ltd

DY331	ASR Resurfacing Femoral Head	CoCr, cemented, resurfacing femoral 	39-63mm	$3,350.00

LSS Surgical Pty Limited

LS083	CONSERVE PLUS Total Hip 	CoCr Femoral Head - Super Polished	Sizes 36mm - 54mm in 2mm 	$3,350.00

Resurfacing System	increments

LS137	Conserve Plus A-CLASS Resurfacing 	CoCr A-CLASS super finished 	36mm to 56mm in 2mm 	$3,350.00	$5,400.00

resurfacing femoral head	increments each with - 3.5mm,

0mm, + 3.5mm head lengths

Medacta Australia Pty Ltd

MU054	ROMAX Resurfacing Femoral Head	Cemented resurfacing femoral head	From diameter 38-60mm, every 	$3,350.00

2mm

Smith & Nephew Surgical Pty Ltd

SN743	Birmingham Hip Resurfacing Prostheses	Cobal Chrome	38 - 58 mm heads	$3,350.00	$3,780.00

-  Femoral Component

Stryker Australia Pty Ltd

SR043	Mitch Hip System	Resurfacing Head	38mm - 60mm	$3,350.00

SR059	Mitch PER Hip System	Proximal Epihyseal Replacement 	38 - 60mm	$6,000.00

Zimmer Pty Ltd

ZI466	Durom (Metasul)	Resurfacing femoral component	A - V	$3,350.00	$3,640.00

Group 16b - Resurfacing, Ceramic, Cemented

ESKA Australia

EK078	Hip Surf Cemented Resurfacing 	CoCr,ceramic articular surface, cemented	38mm - 58mm	$4,600.00	$5,200.00

Ceramic Femoral Head

Group 16c - Resurfacing, Metal, Uncemented

Biomet Australia Pty Ltd

BI838	Resurfacing Hip System	Femoral Head CoCr, Ti, HA Coated	38 - 60mm	$3,850.00

Prostheses List by Category, Groups and Sponsor	Page 386 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI840	Resurfacing Hip System	Femoral Head CoCr, Ti, no HA	38 - 60mm	$3,600.00

Corin Australia Pty Ltd

CR090	Cormet Resurfacing Head  Bi Coated	CoCr with titanium plasma spray and HA	40mm-56mm	$3,850.00

CR122	Cormet Resurfacing Head Fully Bi Coated	CoCr with Titanium plasma spray and HA	44 to 56mm	$3,850.00

ESKA Australia

EK049	Silver Surf Resurfacing Femoral Head	CoCr, metal on metal, cementless with 	38mm-58mm	$3,850.00

titanium spray, 3 dimensional metal with

& without HA and dimpled articular

Group 16d - Resurfacing, Ceramic, Uncemented

ESKA Australia

EK066	Hip Surf Resurfacing Ceramic Femoral 	CoCr, Titanium spray, 3 dimensional 	38-58mm	$4,600.00

metal, ceramic articular surface, without

Group 16e - Resurfacing, Other

Endotec Australia Pty Ltd

EA005	Buechel-Pappas Resurfacing Femoral 	Titanium, beaded, uncemented, non HA 	28mm to 58mm	$5,200.00	$5,450.00

with TiNi surface treatment

Lifehealthcare Pty Ltd

LH308	HemiCAP Contoured Articular 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 	$2,250.00

Resurfacing Hip System	2.5mm x 2.5mm to 5.0mm x

5.0mm offset;  Articular

Component 30mm - 4.5mm x

4.5mm to 7.0mm x 7.0mm

offset; Articular Component

35mm - 6.0mm x 6.0mm to

Smith & Nephew Surgical Pty Ltd

SN826	Birmingham PC Hip Replacement	Plasma carbarised articular surface	30-70	$3,350.00	$3,780.00

Group 17a - Hemi Bipolar

Advanced Surgical Technologies

AD270	SLR Biploar Acetabular Shell	Cast Cobalt Chrome Alloy	38mm - 65mm in millimetre 	$1,248.00

increments

Prostheses List by Category, Groups and Sponsor	Page 387 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Austofix

AX045	Hyperion Moonstone Bipolar Cup	Stainless Steel Shell, UHMWPE liner with	Sizes 39 - 59	$1,550.00

locking ring

B Braun Australia Pty Ltd

BB249	Bipolar Head	Bipolar shell plus liner	38 - 60mm	$1,300.00

Exactech Australia

EX008	L-Series Bipolar Head	The L-Series Bipolar Head is a modular 	28mm 40mm OD, 28mm 41mm	$1,248.00

two piece device consisting of a spherical	 OD, 28mm 42mm OD, 28mm

cobalt chrome shell and interchangeable 	43mm OD, 28mm 44mm OD,

polyethylene liner inserts	28mm 45mm OD, 28mm 46mm

OD, 28mm 47mm OD, 28mm

48mm OD, 28mm 49mm OD,

28mm 50mm OD, 28mm 51mm

OD, 28mm 52mm OD, 28mm

53mm OD, 28mm 54mm OD,

28mm 55mm OD, 28mm 57mm

OD, 28mm 59 mm OD, 28mm

61mm OD, 22mm 40mm OD,

33mm 41mm OD, 22mm 42mm

OD, 22mm 43mm OD, 22mm

44mm OD, 22mm 45mm OD,

22mm 46mm OD, 22mm 47mm

OD, 22mm 48mm OD, 22mm

49mm OD, 22mm 50mm OD,

22mm 51mm OD, 22mm 52mm

OD, 22mm 53mm OD, 22mm

54mm OD, 22mm 55mm OD,

22mm 56mm OD

Global Manufacturing Technology Pty Ltd

GM021	Classic Marathon Bipolar Head	CoCr, Poly Liner	40mm to 58mm	$1,248.00

Johnson & Johnson Medical Pty Ltd

DP171	Hastings Bipolar Prosthesis	Bipolar femoral head, CoCr with fixed 	Size 36 - 56	$857.00

UHMWPE insert

DP188	Self Centering Bipolar Head	Bipolar femoral head, CoCr with 	28mm inner diameter, 39-65mm	$1,504.00

UHMWPE insert	 outer diameter

Lifehealthcare Pty Ltd

LH064	Groupe Lepine	Bipolar shell and UHMPE liner	42 - 60mm in 1mm increments	$727.00

Prostheses List by Category, Groups and Sponsor	Page 388 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Link Orthopaedics  Australia

LO036	Vario bipolar Cup	Shell with unmodified polyethylene plus 	44-65mm	$1,456.00

locking ring

LSS Surgical Pty Limited

LS032	Gladiator Bipolar Hip System	Gladiator Bipolar	36mm x 22mm, 	$1,248.00	$1,872.00

37mmx22mmx38mmx22mm,

39mmx22mm, 40mmx22mm,

41mmx22mm, 42mmx28mm,

43mmx28mm, 44mmx28mm,

45mmx28mm, 46mmx32mm,

47mmx32mm, 48mmx32mm,

49mmx32mm, 50mmx36mm,

51mmx36mm, 52mmx36mm,

53mmx36mm, 54mmx36mm,

55mmx36mm, 56mmx36mm,

57mmx36mm, 58mmx36mm,

59mmx36mm, 60mmx36mm,

61mmx36mm, 62mmx36mm,

63mmx36mm, 64mmx36mm,

65mmx36mm

LS117	SLR Biploar Acetabular Shell	Cast Cobalt Chrome Alloy	38mm - 65mm in millimetre 	$1,248.00

increments

Mathys Orthopaedics Pty Ltd

MA025	Mathys Bipolar Femoral Head	Stainless steel with fixed UHMWPE insert	28mm Inner diameter, 42-58mm	$1,872.00

outer diameter

Medacta Australia Pty Ltd

MU021	Medacta Bipolar Head	Stainless Steel, with UHMWPE insert	For ballhead diameter 28mm- 	$1,248.00	$1,872.00

42,44,46,48,50,52,54,56 mm.

For ballhead diameter 22.2mm -

39,40,41,42,43,44,45,46,48,50,

52mm

Smith & Nephew Surgical Pty Ltd

SM038	PLUS Bipolar Head	Bipolar Head, CoCr UHMWPE insert with	39mm-60mm	$1,579.00

insertable locking ring

SN267	Tandem/Convene	Shell/Liner	22 - 64mm	$1,248.00

Zimmer Pty Ltd

ZI286	Zimmer Acetabular Cup	Multipolar (Bipolar) Cup-Co Chr 	Outer Diameter 38 - 72mm, 	$804.00

W/WHMWPE	Inner Diameter 22,28, or 32mm

Prostheses List by Category, Groups and Sponsor	Page 389 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SI

Stryker Australia Pty Ltd

ST566	Osteonics hip prostheses	Bipolar shell and polyethylene insert 	ID 22, 26, 28, 32mm dia 	$1,579.00

(factory Assembled)

Group 17b - Hemi Tripolar / Multipolar

Biomet Australia Pty Ltd

BI096	Tripolar Acetabular Cup Series	Ringloc Series shell, UHMWPE liner and 	24-28mm	$3,346.00

Chrome Cobalt head

ESKA Australia

EK015	ESKA Bipolar Femoral Head	CoCr, UHMWPE with inner femoral head	various diameters	$1,248.00

included

Lima Orthopaedics Australia Pty Ltd

LC019	Lima bipolar Total Hip Replacement 	Bipolar shell, inset and head 	41, 42, 43, 44, 45, 46, 47, 48, 	$1,872.00

49, 50, 51, 52, 53, 54, 55, 56,

Hip C - Acetabular Components

Group 18a - Cups, cemented, hooded and unhooded, unmodified polyethylene

Advanced Surgical Technologies

AD125	WMT Acetabular Cups All Poly	UHMWPE unmodified 	42 - 68mm in 2mm increments	$750.00

Austofix

AX046	Hyperion Emergence Cemented Cup	Acetabular Cup, UHMWPE	Sizes 42 - 54	$750.00

B Braun Australia Pty Ltd

BB236	Polyethylene Acetabular Cup	Unmodified Polyethylene	22.2mm-32mm articulations; 	$750.00

40mm-64mm diameters

Biomet Australia Pty Ltd

BI067	Stanmore Total Hip System	Acetabular Cup, unmodified UHMWPE	25-32mm x size 40-53mm	$750.00

Corin Australia Pty Ltd

CR042	Cenator Acetabular Cup	Flanged Cemented UHMWPE	Dia 40 - 62mm, 22, 26, 28 	$750.00

Prostheses List by Category, Groups and Sponsor	Page 390 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Exactech Australia

EX052	All Polyethylene cemented acetabular 	The All Polyethylene cemented acetabular	22mm ID: 44mm OD, 46mm 	$750.00

component	 components are indicated for use in 	OD, 48mm OD, 50mm OD,

skeletally mature individuals undergoing 	52mm OD, 54mm OD

primary surgery for total hip replacement 	              28mmID: 48mmOD,

due to osteoarthritis, rheumatoid arthritis, 	50mmOD, 52mmOD, 54mm

osteonecrosis, ankylosing spondylitis, 	OD, 56mm OD, 58mm OD,

congential hip dysplasia, post-traumatic 	60mm OD                  32mm

degenerative problems of the hip, and for 	ID: 52mm OD, 54mmOD,

treatment of proximal femoral fractures

where prosthetic replacement is

determined by the surgeon as the

preferred treatment.

Global Manufacturing Technology Pty Ltd

GM022	Edinburgh Cemented Cup	UHMWPE	44mm to 56mm outer, 28-32 	$750.00	$884.00

inner diameter

GM128	Contile Fin II Acetabular, Mueller Cup 	Mueller Cup	28mm Neutral and 10 Degree, 	$750.00

28mm and 32mm	32mm Neutral and 10 Degree

Johnson & Johnson Medical Pty Ltd

DP182	Charnely Hip System Bore, LPW and 	UHMWPE cup, cemented 	28mm inner diameter, 38 - 	$750.00

Flanged Cups	53mm outer diameter

JJ755	OGEE Cemented Cup	UHMWPE cup, cemented	22 - 32mm inner diameter, 40-	$750.00

53mm outer diamter

JJ756	Wroblewski Cemented Cup	UHMWPE cup, cemented	22mm inner diamter, 40 - 53mm	$750.00

outer diameter and angled bored

JJ757	LPW Cemented Cup	UHMWPE cup, cemented	28mm inner diameter, 40 - 	$750.00

53mm outer diameter

Lima Orthopaedics Australia Pty Ltd

LC020	Lima Mueller Cup	UHMWPE Cup unmodified Cemented	44 - 62mm	$750.00	$850.00

Link Orthopaedics  Australia

LO018	LINK IP Acetabular Cup	UHMPE unmodified 	40 - 58mm	$750.00

LSS Surgical Pty Limited

LS040	WMT Acetabular Cups All Poly	UHMWPE unmodified 	42 - 68mm in 2mm increments	$750.00

Mathys Orthopaedics Pty Ltd

MA027	CCB Cemented UHMWPE Cup	UHMWPE, low & full profile	28/32 ID - 42/64 OD	$750.00

Orthotech Pty Ltd

OH105	Lima Mueller Cup	UHMWPE Cup unmodified Cemented	44 - 62mm	$750.00	$850.00

Prostheses List by Category, Groups and Sponsor	Page 391 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

OH290	JRI Cemented Cup	UHMWPE Cup unmodified Cemented	28mm and 32mm	$750.00	$790.00

Smith & Nephew Surgical Pty Ltd

SN282	Opera	Acetabular Cup Flanged unmodified 	22 - 28mm; 40 - 53mm	$750.00

UHMWPE

SN288	Reflection	Acetabular Cup Unmodified UHMWPE	22 - 36mm, 42 - 76mm	$750.00

Stryker Australia Pty Ltd

HW029	Duration Polyethelene cemented 	Duration Poly Cup -  Enhanced 	22 - 36 mm ID	$936.00

acetabular component

ST552	Osteonics hip prostheses	All poly cup polyethylene unmodified 	OD: 46-61mm.  ID: 22, 26, 28, 	$750.00

32mm

Zimmer Pty Ltd

ZI027	ZCA Acetabular Cup	UHMPE unmodified	47 - 61	$750.00

ZI368	Apollo Hooded acetabular cup 	UHMPE unmodified	28/46mm to 28/62mm	$750.00	$850.00

ZI384	MS30 Hip - Cups Cemented	UHMPE unmodified	22/36 to 32/64	$750.00

MISa

Zimmer Pty Ltd

ZI383	MS30 Hip - Cups Cemented	Low Profile with Metasul - PE with 	38 to 58mm 	$2,354.00

special metal alloy

Group 18b - Cups, cemented, hooded and unhooded, modified polyethylene

Johnson & Johnson Medical Pty Ltd

JJ689	Marathon Cup System Cemented 	Cemented modified UHMWPE acetabular 	Inner diameter 22-36mm, outer 	$936.00

Acetabular Cup	cup with flange	diameter 38-53mm

Smith & Nephew Surgical Pty Ltd

SN695	Opera	Acetabular Cup Flanged - XLPE modified	22-36mm, 42-76mm	$936.00

polyethylene

SN696	Reflection	Acetabular Cup - XLPE	22-36mm,40-61mm	$936.00

Stryker Australia Pty Ltd

HW403	Exeter Hip System	Exeter Duration Cup - Enhanced 	OD: 40-60mm, ID: 22, 26, 28, 30	$936.00

Polyethylene - Low and High Profile

SK460	Exeter Rim Fit Flanged X3 Cup	X3 Highly crosslinked Cup	40 - 60 OD, 22 - 44 ID	$936.00	$1,300.00

ST013	Trident Crossfire All Polyethelene Cup	UHMPE modified 	40-64mm(Outer Diameter)	$936.00

Prostheses List by Category, Groups and Sponsor	Page 392 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI314	ZCA All Poly Acetabular Cup - XLPE	UHMPE modified 	22, 26, 28 & 32 mm heads; 47-	$936.00

61mm diameter; flanged and

non-flanged

F

Stryker Australia Pty Ltd

HW030	Contemporary Hip System Range	Exeter Contemporary Flanged modified  	ID: 26, 28, 32.  OD 46, 48, 50, 	$961.00

Enhanced Polyethylene 	52, 54, 56, 58, 60

Group 18c - Cups, cemented, constrained, modified and unmodified polyethylene

ESKA Australia

EK020	ESKA Cemented UHMWPE Cup	UHMWPE, neutral & hooded 	.	$572.00

Link Orthopaedics  Australia

LO019	Lubinus eccentric Acetabular Cup	UHMPE constrained	44 - 58mm	$718.00

Stryker Australia Pty Ltd

HW043	Brunswick Cup	Polyethylene	44, 48, 50, 52, 54, 56mm OD	$832.00

SK430	Trident Constrained All Poly Acetabular 	UHMWPE constrained cemented cup	40-70mm	$1,765.00

Cup

Group 18d - Cups, cemented, metal shell

Biomet Australia Pty Ltd

BH040	Avantage Dual Mobility Cemented 	Acetabular shell, polished inner surface, 	44mm - 50mm	$1,800.00

Acetabular Cup	Stainless Steel

Corin Australia Pty Ltd

CR159	Saturne Cemented Tripolar Cup	Stainless steel cemented acetabular cup 	Sizes 44 - 60 in 2mm 	$1,800.00

with an anatomical anti-disloction profile

Smith & Nephew Surgical Pty Ltd

SM133	Polar Cup Cemented Acetabular Shell	Stainless steel, cemented shell that has 	43-63MM	$1,800.00

polished inner surface for dual mobility

with constrained UHMWPE liner/head

Prostheses List by Category, Groups and Sponsor	Page 393 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 19a - Shell, uncemented, Grit blast, not HA

Mathys Orthopaedics Pty Ltd

MA498	SeleXys Acetabular TH+ Shell	Uncemented Ti acetabular shell, grit blast,	42mm - 72mm in 2mm 	$2,300.00

non HA

Smith & Nephew Surgical Pty Ltd

SM023	Bicon - PLUS Porosis Acetabular Shell	Titanium, grit blast, double thread	1 to 9	$2,300.00	$2,646.00

SM050	Bicon - PLUS Acetabular Shell	Titanium, grit blast, single thread	01, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	$2,300.00	$2,646.00

Zimmer Pty Ltd

ZI395	Variall Screw Cup System	Metasul Insert - special metal alloy	II28 to NN28mm	$2,354.00

Group 19b - Shell, uncemented, Grit blast, HA

Johnson & Johnson Medical Pty Ltd

JJ702	Gyros Hip System	Dual mobility acetabular cup, stainless 	44-68mm	$2,700.00

steel, grit blasted with HA

Lifehealthcare Pty Ltd

LH068	MBA / Pavi	Titanium, grit blast with HA	46 - 64mm in 2 mm increments 	$2,700.00

& 0 or 10 Degrees

Link Orthopaedics  Australia

LO032	Link acetabular cup system	Titanium, grit blast, HA	40 - 68mm	$2,700.00

Medartis

EO011	Atlas Acetabular Cup System	Titanium, grit blast & HA	Atlas Cup 40-74mm	$2,700.00

Orthotech Pty Ltd

OH286	JRI CSF Cup 	Grit blast with HA, titanium	44mm - 70mm	$2,700.00	$3,100.00

Stryker Australia Pty Ltd

HW014	ABG 11Cup with Hydroxyapatite	Titanium, grit blast and HA for UHMPE 	Sizes 42mm to 74mm OD in 	$2,700.00

2mm increments

HW015	ABG 11Cup with Hydroxyapatite	Titanium, grit blast and HA for ceramic 	Sizes 44mm to 66mm OD in 	$2,700.00

2mm increments

Prostheses List by Category, Groups and Sponsor	Page 394 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

F

Johnson & Johnson Medical Pty Ltd

JJ701	Gyros Hip System	Dual mobility acetabular cup, stainless 	44-68mm	$3,100.00

steel, grit blasted with HA and flanges for

screw fixation

SI

Stryker Australia Pty Ltd

SK092	Stryker Hydroxyapatite coated cup with 	Shell with Biolox forte ceramic liner	44 - 80mm OD	$2,700.00	$5,158.00

ceramic liner

Group 19c - Shell, uncemented, Beaded, not HA

Advanced Surgical Technologies

AD103	Lineage and Transcend Acetabular 	Titanium, beaded, non HA	Shells 40 - 80mm in 2mm 	$2,508.00

increments

AD226	Lineage Acetabular System	Titanium Deep Profile Multi Hole 	46 - 74mm in 2mm increments	$2,435.00

Acetabular Shell

AD330	Procotyl L Acetabular System / 	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	$2,508.00

Acetabular shell non HA

AD334	Dynasty Acetabular System/ Actebular 	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	$2,508.00

Dj Orthopaedics Pty Ltd

DD023	FMP Acetabular Shell	Titanium, non HA, beaded, variable screw	42-70mm	$2,508.00	$2,704.00

holes

Endotec Australia Pty Ltd

EA003	Buechel-Pappas Acetabular Shell	Titanium, beaded, uncemented, non HA 	45mm to 69mm	$2,508.00	$2,730.00

with TiNi surface treatment

Global Orthopaedic Technology

GO040	Consensus Acetabular Shell	Titanium, beaded, porous coating, non 	42mm to 68mm	$2,508.00	$3,276.00

HA, variable holes

Johnson & Johnson Medical Pty Ltd

DP360	Duraloc Acetabular Shells	Titanium, beaded, (Porocoat) non HA, 	Size 36-76	$2,508.00

with or without holes &/or spikes

DY521	Pinnacle Acetabular Shell	Titanium, beaded (Porocoat), not HA, 	38 - 80mm	$2,508.00	$3,000.00

multiple holes, variable spike

arrangements, can be used with ceramic,

metal and UHMWPE liners

Prostheses List by Category, Groups and Sponsor	Page 395 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS033	Lineage and Transcend Acetabular 	Titanium, beaded, non HA	Shells 40 - 80mm in 2mm 	$2,508.00

increments

LS084	Lineage Acetabular System	Titanium Deep Profile Multi Hole 	46 - 74mm in 2mm increments	$2,435.00

Acetabular Shell

LS139	Procotyl L Acetabular System / 	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	$2,508.00

Acetabular shell non HA

LS143	Dynasty Acetabular System/ Actebular 	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	$2,508.00

Mathys Orthopaedics Pty Ltd

MA496	SeleXys Acetabular PC Shell	Uncemented Ti acetabular shell, beaded, 	42mm - 72mm in 2mm 	$2,508.00

non HA

Smith & Nephew Surgical Pty Ltd

SN285	Reflection	Acetabular Cup, Beaded Titanium Alloy	42 - 80mm	$2,508.00

SN290	Reflection	Acetabular Shell Ceramic, Porous 	46-66mm OD	$2,508.00

Titanium Alloy

E

Johnson & Johnson Medical Pty Ltd

DP975	SROM Oblong Acetabular Shell	Titanium, beaded, non HA, double bubble  	28mm & 32mm size 51+E15N -	$8,840.00

66+E15N

Group 19d - Shell, uncemented, Beaded, HA

Advanced Surgical Technologies

AD119	Transcend/Lineage Articulation System	Beaded, Titanium HA coated cup	42 - 74mm in 2mm increments	$2,900.00

AD329	Procotyl L  Acetabular Cup	Beaded, Titanium HA coated cup	42 - 68mm	$2,900.00	$3,276.00

Johnson & Johnson Medical Pty Ltd

DP557	Duraloc Acetabular Shell with HA	Titanium, beaded, Duofix,HA, with or 	Inner 36-70	$2,900.00

without holes

DY031	Duraloc Option Acetabular Shell	Titanium, beaded with HA (duofix)	46-66 mm	$2,900.00

DY520	Pinnacle Acetabular Shell	Titanium, beaded (Duofix), multiple 	38 - 80mm	$2,900.00	$3,276.00

holes, variable spike arrangements, can be

used with ceramic, metal and UHMWPE

LSS Surgical Pty Limited

LS037	Transcend/Lineage Articulation System	Beaded, Titanium HA coated cup	42 - 74mm in 2mm increments	$2,900.00

Prostheses List by Category, Groups and Sponsor	Page 396 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LS138	Procotyl L  Acetabular Cup	Beaded, Titanium HA coated cup	42 - 68mm	$2,900.00	$3,276.00

Smith & Nephew Surgical Pty Ltd

SN286	Reflection	Acetabular Cup HA Coated Titanium 	42 - 80mm	$2,900.00	$3,374.00

Alloy, beaded

Group 19e - Shell, uncemented, Mesh, not HA

ESKA Australia

EK041	BS Acetabular Shell non HA	CoCr, Titanium spray, 3 dimensional 	46-68mm	$2,500.00

metal, variable screw holes, without HA

EK088	2000 Plus Acetabular Metal Shell	CoCr, Titanium Spray, 3 Dimensional 	44-68mm	$2,500.00

Metal, Variable Screw Holes,

Finsbury Orthopaedics Australia Pty Ltd

FI046	Fixa Ti-Por Cup	Porous Matrix Titanium, Screw Holes 	Size 44-66mm	$2,500.00	$3,000.00

with Plugs, Hemispherical Acetabular Cup

Zimmer Pty Ltd

ZI034	Trilogy Acetabular Cup	Titanium mesh (fibre metal) non HA for 	38 - 80	$2,500.00

UHMPE insert

ZI042	Trilogy Acetabular Cup	Titanium mesh (fibre metal) non HA for 	48 - 70	$2,500.00

ceramic insert

ZI386	Fitmore Cup	Titanium mesh non HA 	42 to 68mm	$2,500.00

F

ESKA Australia

EK070	BS Dysplasia Acetabular Shell 	CoCr, Titanium spray, 3 dimensional 	46-66mm	$3,500.00	$4,900.00

metal, variable screw holes and proximal

flange, without HA

Group 19f - Shell, uncemented, Mesh, HA

ESKA Australia

EK040	BS Acetabular Shell with HA	CoCr, Titanium spray, 3 dimensional 	46-68mm	$2,900.00

metal, variable screw holes, HA

EK089	2000 Plus Acetabular Metal Shell	CoCr, Titanium Spray, 3 Dimensional 	44-68mm	$2,900.00

Metal, Variable Screw Holes, HA

Prostheses List by Category, Groups and Sponsor	Page 397 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI035	Trilogy Acetabular Cup	Titanium mesh (fibre metal) with HA for 	38 - 80	$2,900.00

UHMPE insert

ZI041	Trilogy Acetabular Cup	Titanium mesh (fibre metal) with HA for 	38 - 80	$2,900.00

ceramic insert

ZI618	Trilogy IT HA/TCP Acetabular System	Titanium mesh (fibre metal) with HA	40CC; 42DD; 44EE; 46FF,; 	$2,900.00

48GG; 50HH; 52II; 54JJ; 56KK'

58LL' 60MM' 62NN; 64OO;

66PP; 68QU; 70RR; 72SS;

Group 19g - Shell, uncemented, Plasma, not HA

Biomet Australia Pty Ltd

BI111	Mallory Head Hip System	Acetabular shell, Titanium Alloy, plasma, 	40-80mm	$2,300.00

non HA

Exactech Australia

EX007	Novation Crown Cup Shell - plasma and	Novation Crown cup and liners - no-hole 	Shell: No-Hole Shell size 48-68, 	$2,700.00

HA coated	and cluster hole design options. Shells 	2mm increments; Cluster Hole

manufactured from titanium (Ti) alloy 	Size 48-68, 2mm increments;

with plasma coating and an additional 	Multi-Hole Size 48-56, Multi-

hydroxylapitite (HA) coating option. 	Hole with Rim Fixation, Size 56-

Sphere and taper inner diameter

EX011	Novation Crown Cup Shell - plasma 	Novation Crown Cup and Liners: No-Hole	Shell: No-Hole shell size 48-68, 	$2,300.00	Application split from 296. PDC

and Cluster Hole design options, shells 	2mm increments; Cluster Hole 	benefit decision on 2/6/09.

manufactured from titanium (Ti) alloy 	Size 48-68, 2mm increments;

with plasma coating, sphere and taper 	Multi-Hole Size 48-56, Multi-

inner diameter geometry.	Hole with Rim Fixation, Size 56-

Mathys Orthopaedics Pty Ltd

MA497	SeleXys Acetabular TPS Shell	Uncemented Ti acetabular shell, Ti 	42mm - 72mm in 2mm 	$2,300.00

plasma spray, non HA

Portland Orthopaedics (Aust) Pty Ltd

PD016	Equator Plus Acetabular Shell	Titanium 3-hole plasma sprayed, non HA 	44mm to 76mm	$2,300.00

shell for ceramic & UHMWPE inserts

PD017	Equator Plus Acetabular Shell	Titanium multi-hole plasma sprayed, non 	44mm to 76mm	$2,300.00

HA shell for ceramic & UHMWPE inserts

Prostheses List by Category, Groups and Sponsor	Page 398 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM025	EP Fit Acetabular Shell	Titanium, plasma spray, non HA, with 	40 - 68mm Dia	$2,300.00	$2,369.00

variable number of holes for

UHMWPE,ceramic & metal inserts

SM128	POLAR CUP ACETABULAR 	Stainless steel with titanium plasma spray 	43-67MM	$2,300.00	$2,369.00

Cementless Shell	coating that has polished inner surface for

dual mobility with constrained UHMWPE

liner/head

F

Smith & Nephew Surgical Pty Ltd

SM129	POLAR CUP ACETABULAR 	Stainless steel with titanium plasma spray 	43-67MM	$3,300.00	$3,451.00

Cementless Shell	coating and pegs & flanges, that has

polished inner surface for dual mobility

with constrained UHMWPE liner/head

Group 19h - Shell, uncemented, Plasma, HA

B Braun Australia Pty Ltd

BB243	Plasmacup	Titanium, plasma, HA	44mm-68mm	$2,700.00

Biomet Australia Pty Ltd

BH039	Avantage Reload Dual Mobility 	Revision Acetabular Cup polished inner 	44mm - 64mm	$2,700.00	$3,700.00

Cementless Acetabular Cup	surface, with flanges, Porous HA

Coating, Stainless Steel

BI110	Mallory Head Hip System	Acetabular Shell	40-80mm	$2,700.00

BI112	Mallory Head Hip System	Acetabular shell, solid, plasma, HA	40-80mm	$2,700.00

BI770	Exceed Acetabular System	Acetabular shell, solid, plasma, HA	Shell sizes 40-70mm	$2,700.00

Corin Australia Pty Ltd

CR074	Alpha Lock Plus Titanium Acetabular 	Titanium hip cup with plasma spray & 	42 - 70mm Diameter	$2,700.00

HA and special pre-closed screw holes

CR085	Cera Fit Acetabular Shell	Titanium plasma spray & HA for 	42, 44, 46, 48, 50, 52, 54, 56, 	$2,700.00

UHMWPE Ceramic and Metal Inserts	58, 60, 62, 64, 66, 68, 70, &

CR165	Trinity Acetabular Cup	Tri-liner hemispherical shell. Titanium 	44 - 68 mm in 2mm increments	$2,700.00

(Ti6A14V) material with Titanium and HA

coated plasma spray

FOL Technology PTY Ltd

FO008	Samo Acetabular Cup	Acetabular cup	40 - 70	$2,700.00

Prostheses List by Category, Groups and Sponsor	Page 399 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM017	Cer-Met Acetabular Shell	Titanium, plasma spray, HA with variable 	46mm to 66mm	$2,700.00

number of holes

GM047	Fin II Acetabular Shell	titanium, Plasma sprayed, HA, with 	44 to 72mm	$2,700.00

variable screw options

GM113	Global Acetabular Shell	Titanium, plasma spray, HA with variable 	44-72mm	$2,700.00

number of holes

Lima Orthopaedics Australia Pty Ltd

LC016	Lima Total Hip Replacement System	Titanium, plasma, HA	44 - 66mm	$2,700.00	$2,800.00

Link Orthopaedics  Australia

LO150	BetaCup Cementless Acetabular Cup 	Acetabular Cup system comprising of 16 	Ø	$2,700.00

metal casings, TiCaP coating, 3 Ceramic

or 4 UHMWPE Inserts, head diameters

from Ø 26mm and Ø 36mm

Medacta Australia Pty Ltd

MU008	Versafitcup Acetabular Shell	Titanium, plasma spray, with HA, variable	48 to 64	$2,700.00

holes

MU022	Versafitcup Dual Mobility Acetabular 	Stainless steel, with titanium plasma 	from diameter 46mm to 64mm 	$2,700.00

coating and HA, and polished inner 	in 2mm increments

surface for dual articulation

Orthotech Pty Ltd

OH295	JRI CSF Plus Cup	Titanium, plasma, HA for ceramic insert	44mm - 70mm O/D	$2,700.00	$2,950.00

OH296	JRI CSF Plus Cup	Titanium, plasma, HA for modified poly 	44mm - 70mm O/D	$2,700.00	$2,950.00

Portland Orthopaedics (Aust) Pty Ltd

PD037	EQ+ Acetabular Shell HA	Titanium, 3-hole, plasma sprayed, HA 	44-76mm	$2,700.00

coated shell for ceramic & UHMWPE

Smith & Nephew Surgical Pty Ltd

SM024	EP Fit Acetabular Shell	Titanium, plasma spray,  and HA, with 	40 - 72mm Dia	$2,700.00	$2,785.00

variable number of holes for

UHMWPE,ceramic & metal inserts

Stryker Australia Pty Ltd

SK500	Restoration ADM Cup (Anatomic Dual 	Chobalt-Chome; HA Coated; Anatomic 	Left and Right; 48-46mm	$2,700.00	$3,500.00

Mobility) Cup	Dual Mobility Cup

Prostheses List by Category, Groups and Sponsor	Page 400 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

F

Smith & Nephew Surgical Pty Ltd

SM131	POLAR CUP ACETABULAR 	Stainless steel with titanium plasma spray 	43-67MM	$3,700.00	$3,838.00

Cementless Shell	coating and HA and pegs & flanges, that

has polished inner surface for dual

mobility with constrained UHMWPE

Group 19i - Shell, uncemented, Titanium, not HA

Biomet Australia Pty Ltd

BI971	Regenerex Ringloc+	Acetabular shell, solid, limited hole or 	48 to 72mm OD	$2,500.00	$3,345.00

multi hole, Porous Ti Alloy

Stryker Australia Pty Ltd

SK128	Trident Acetabular Component System	Titanium, arc deposited,  non HA	Shell sizes 42mm - 74mm OD	$2,500.00

Zimmer Pty Ltd

ZI353	Allofit Cup	Titanium, macro texture, non HA	46 - 68mm	$2,500.00

ZI385	CLS Cups	Titanium, macro texture, non HA	46 to 62mm	$2,500.00

ZI396	Variall Screw Cup System	Titanium, macro texture, non HA	46 to 62mm	$2,500.00

Group 19j - Shell, uncemented, Titanium, HA

Corin Australia Pty Ltd

CR119	Horizon Acetabular Shell	Anodised titanium, HA encoated with 	42 - 70 mm	$2,900.00

screw holes for ceramic inserts

Stryker Australia Pty Ltd

ST548	Trident acetabular component system 	Titanium, arc deposited,  with HA	40-74mm OD in 2mm increments	$2,900.00

ST554	Stryker Securfit HA Coated Shell	Titanium, arc deposited,  with HA	40 - 80mm	$2,900.00

Group 19k - Shell, uncemented, Other, not HA

Johnson & Johnson Medical Pty Ltd

JJ653	Pinnacle Hip System - Gription Cup	Acetabular implant for use with the 	38 - 80mm in outer diameter	$3,350.00

pinnacle hip system

Stryker Australia Pty Ltd

SK428	Trident Tritanium Acetabular Shells	Acetabular Shell, tritanium	40mm - 80mm	$3,350.00

Prostheses List by Category, Groups and Sponsor	Page 401 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI325	Trabecular Metal Modular Acetabular 	Titanium, porous tantalum 	38-80mm diameter; Cluster, 	$3,350.00	$3,495.00

System	Multiholed, No Holes

ZI617	Continuum Acetabular Shell	Trabecular Metal Acetabular Shell	40CC, 42DD, 44EE, 46FF, 	$3,350.00	$3,550.00

48GG, 50HH, 5II, 54JJ, 56KK,

58LL, 60MM, 62NN, 64OO,

66PP, 68QU, 70RR, 72SS,

74TT, 76UU, 78VV, 80W

Group 19l - Shell, uncemented, Other, HA

Corin Australia Pty Ltd

CR161	Saturne Press Fit Dual Mobility 	A cementless, stippled and peripherally 	Sizes: 44 - 64 in 2mm increments	$3,100.00

Acetabular Cup	expanded, acetabular cup.  Flattened pole

and an elevated rim to help prevent

Stryker Australia Pty Ltd

SK429	Trident Tritanium Acetabular Shells (PA	Acetabular Shell, HA Coating, tritanium	40mm - 80mm	$3,500.00

coated)

Group 20a - Insert/Liner, unmodified polyethylene

Advanced Surgical Technologies

AD127	WMT  Acetabular Liners	Duramer UHMWPE unmodified Liner	Grp 0, Grp 1, Grp 2, Grp 3, Grp	$820.00

4, Grp 5, and Grp 6

AD263	Procotyl-E cup	unmodified polyethylene liner	Group 1 - 3 sizes 22 - 32	$820.00

B Braun Australia Pty Ltd

BB237	Plasmacup PE insert	UMHPE unmodified liner	44mm-68mm diameters, 	$820.00

22.2mm-32mm articulations

Corin Australia Pty Ltd

CR073	UHMWPE Insert for Alpha Lock Plus 	UHMWPE Insert	22-32mm	$820.00

Endotec Australia Pty Ltd

EA004	Buechel-Pappas Acetabular UHMWPE 	UHMWPE for larger diameter heads, 	45mm to 65mm	$820.00	$890.00

Insert for large heads	including resurfacing heads

ESKA Australia

EK001	2000 Plus Acetabular UHMWPE Liner	UHMWPE, titanium or CoCr locking lug, 	28-32mm inner diameter	$820.00

neutral & hooded

Prostheses List by Category, Groups and Sponsor	Page 402 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

EK082	BS Acetabular UHMWPE Liner	UHMWPE, for all head sizes 	28mm-48mm inner diameter	$820.00

Finsbury Orthopaedics Australia Pty Ltd

FI022	Adept MoP Acetabular Component	Liner, unmodified polyethylene	.	$820.00

FOL Technology PTY Ltd

FO007	Samo acetabular cup poly insert	X linked poly insert	22 - 36	$820.00	$910.00

Global Manufacturing Technology Pty Ltd

GM016	Cer-Met II UHMWPE Insert	UHMWPE 	46mm to 66mm, neutral & 10 	$820.00	$936.00

degree

GM048	Fin II UHMWPE Insert	UHMWPE	44 to 72mm, 0 & 5 degree hood	$820.00	$1,160.00

GM115	Global Acetabular UHMWPE Insert	UHMWPE	44-72mm	$820.00	$1,115.00

Johnson & Johnson Medical Pty Ltd

DP112	Duraloc Enduron Liner	UHMWPE liner	Inner diameter 22-32mm, 36-	$820.00

76mm outer diameter

DP222	DePuy Custom Made Acetabular Liners	UHMWPE custom liner for obsolete 	Made to order	$1,250.00

DePuy shells

DP946	Octopus UHMWPE Liner	UHMWPE liner used with Octopus 	22.2, 28 and 32mm Size 55, 50	$820.00

Acetabular Reconstruction Shell (DP945)

DP968	SROM Acetabular UHMWPE Liner	UHMWPE 	22 or 26 or 28 or 32mm inner 	$820.00

diameter and 36-76mm outer

diameter

Lima Orthopaedics Australia Pty Ltd

LC018	Lima Delta Cup Insert	Protruded UHMWPE Unmodified Liner	A, B, C, D, E	$820.00	$990.00

Link Orthopaedics  Australia

LO014	Link McMinn Acetabular insert	UHMWPE acetabular Insert unmodified	45 - 55 mm	$820.00

LO033	Link aceta bular Insert	UHMWPE acetabular Insert unmodified	40 - 68mm	$820.00

LO152	BetaCup Cementless Acetabular Cup 	UHMWPE Insert	26mm>	$820.00

LSS Surgical Pty Limited

LS041	WMT  Acetabular Liners	Duramer UHMWPE unmodified Liner	Grp 0, Grp 1, Grp 2, Grp 3, Grp	$820.00

4, Grp 5, and Grp 6

LS110	Procotyl-E cup	unmodified polyethylene liner	Group 1 - 3 sizes 22 - 32	$820.00

Mathys Orthopaedics Pty Ltd

MA419	SeleXys Acetabular UHMWPE Liner	UHMWPE 	44mm-72mm	$820.00

MA440	ExpanSys Acetabular UHMWPE Liner	UHMWPE	46-70mm range	$820.00

Prostheses List by Category, Groups and Sponsor	Page 403 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU010	Versafitcup UHMWPE Liner	UHMWPE	Head dia 28mm (48 to 64) or 	$820.00

32mm (54 to 64), hooded &

MU023	Versafitcup UHMWPE  Liner	Fixed UHMWPE Liner for Versafitcup 	For head diameter  22.2mm 	$820.00

Dual Mobility Acetabular Shell	sizes 46 - 48mm ; for head

diameter 28mm sizes 48 - 64mm

Medartis

EO012	Atlas Acetabular Cup System	liner polyethylene liner, Titanium & HA	Atlas Poly Insert Std. Dia 28 and	$820.00

32mm

Orthotech Pty Ltd

OH287	JRI CSF Cup insert 	UHMWPE unmodified 	28mm, 32mm, 36mm	$820.00	$936.00

Smith & Nephew Surgical Pty Ltd

SM020	BICON UHMWPE Insert	UHMWPE	1 to 9	$820.00

SM026	EP Fit & MPF UHMWPE Insert	UHMWPE	40 - 68mm Dia	$820.00

SN289	Reflection	Acetabular Liner, unmodified UHMPE	22 - 36mm, 42 - 76mm	$820.00

Stryker Australia Pty Ltd

ST561	Strker Omnifit/SecurFit Acetabular 	Series I and II inserts, UHMPE	22 - 36mm ID for cups 40 - 	$820.00

80mm OD

Zimmer Pty Ltd

ZI033	Trilogy Oblique liner	UHMPE unmodified	38 - 62	$820.00	$900.00

ZI037	Trilogy  liner	UHMPE unmodified	38 - 80 in 22, 28, 32	$820.00

ZI367	Armour Cup	Armor Cup P/E Insert	22 to 32mm, FF to 66QU	$613.00

ZI388	Liner for CLS,  Fitmore and Allofit	UHMPE unmodified	22, 28, 32mm Size 46 to 62	$820.00

Sa

Portland Orthopaedics (Aust) Pty Ltd

PD018	Equator Plus UHMWPE Insert	UHMWPE (unmodified) encased in CoCr 	28mm to 36mm internal 	$613.00

surround	diameter, standard and hooded

Smith & Nephew Surgical Pty Ltd

SM043	Bofor Acetabular Insert	UHMWPE with titanium surround	48 -70mm	$1,600.00

Zimmer Pty Ltd

ZI389	Metasul Liner for CLS,  Fitmore and 	UHMPE unmodified with metal insert	28mm	$2,354.00	$2,460.00

Prostheses List by Category, Groups and Sponsor	Page 404 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 20b - Insert/Liner, modified polyethylene

Advanced Surgical Technologies

AD309	Lineage A-Class Crosslinked 	Standard and lateralized, 0deg and 15deg 	28, 32, 36ID	$1,160.00

Polyethylene Liner	lipped crosslinked

AD333	Procotyl L A-class Crosslinked 	A-class crosslinked poly liners, standard 	28,32,36ID	$1,160.00

polyethylene liner,standard & lipped, 	and lipped liners

large head options

AD336	Dynasty Acetabular System /poly liner	A-class Crosslinked polyethylene liner, 	ID 22,28,32,36, 38,40,42,46	$1,160.00	$1,560.00

standard and lipped, large head options

Biomet Australia Pty Ltd

BI106	Mallory Head Hip System	Acetabular Liner, UHMWPE, modified 	22 - 36mm, Sizes 21 to 28	$1,160.00

BI972	E-Poly HXLPE Liner	Highly cross linked PE liner, stabilised 	Liner size 22 to size 28 head 	$1,160.00	$1,560.00

with Vit E	sizes 28mm, 32mm,

Corin Australia Pty Ltd

CR163	Trinity polyethylene liner	Highly cross linked Polyethylene liner in 	28mm, 32mm, 36mm, 40mm	$1,160.00

neutral +4mm offset +4mm oblique and

4mm elevated wall variants for use with

the Trinity acetabular multi-bearing shell

Dj Orthopaedics Pty Ltd

DD044	FMP Acetabular System - Acetabular 	Acetabular cup inserts, UHMWPE 	ID of 22mm, 28mm, 32mm to 	$1,160.00

Cup Insert UHMWPE	compression moulded and cross-linked.  	suit Acetabular shells of OD

22mm, 28mm and 32mm Internal 	40mm-70mm, available in

Diameters available in 0-degree (neutral), 	0,10,20-degree hooded options

10-degree hooded and 20-degree hooded

Prostheses List by Category, Groups and Sponsor	Page 405 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Exactech Australia

EX004	Novation GXL Liner	The GXL Liner are indicated for use in 	Liner Neutral: Group 1: 28mm 	$1,160.00

skeletally mature individuals undergoing 	ID, Group 2: 28mm IS, 32mm

primary surgery for total hip replacement	ID, Group 3: 32mm ID, 36mm

ID; Group 4: 32mm, 36mm,

Group 5: 32mm, 36mm, Liner

"Lipped": Group 1: 28mm,

Group2: 28mm, 32mm, Group

3: 36mm, Group 4: 32mm,

36mm, Group 5: 36mm, Liner

"+5 Lateralised" Group 1:

28mm, Group 2: 28mm, 32mm,

Group 3: 32mm, 36mm, Group

4: 32mm, 36mm, Group 5:

32mm, 36mm

Finsbury Orthopaedics Australia Pty Ltd

FI050	Adler PE Acetabular Liners	XLPE Liners - for Fixa Cups	Neutral, 15 degree, in 	$1,160.00

22,28,32,36mm ID

Prostheses List by Category, Groups and Sponsor	Page 406 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Manufacturing Technology Pty Ltd

GM125	Global Acetabular System HCLA (highly	HCLA (highly Cross-Linked and 	68-76mm/36	$1,160.00

Cross-Linked and Annealed) Acetabular	Annealed) Acetabular Insert	68-76mm/32

Liner	68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54/32

52-54mm/28

50mm/28

46-48mm/28

10 Degree

68-76mm/36

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54/32

52-54mm/28

50mm/28

46-48mm/28

GM129	Contile Fin II Acetabular Insert Highly 	Acetabular Insert Highly Cross Linked 	Diameter 28mm 44mm to 72mm	$1,160.00

Cross Linked Polyethylene	Polyethylene	 Neutral, and 10 Degree,

Diameter 32mm 44mm to 72mm

Neutral, and 10 Degree,

Diameter 36mm 44mm to 72mm

Global Orthopaedic Technology

GO038	Consensus Hip System	Acetabular Cup Inserts UHMWPE 22mm 	42mm to 68mm	$820.00	$1,160.00

to 32mm

Johnson & Johnson Medical Pty Ltd

DY036	Duraloc Marathon Acetabular UHMWPE	UHMWPE, highly cross linked, 	Sizes 36-76mm	$1,160.00

Cross Linked Liner

Prostheses List by Category, Groups and Sponsor	Page 407 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY210	Pinnacle Acetabular Cross Linked 	UHMWPE, highly cross linked 	22-44mm inner diameter,36 - 80	$1,160.00

UHMWPE Insert	 mm outer diameter

Lifehealthcare Pty Ltd

LH174	GL - U Hooded Liner	Hooded/Flat Insert	46, 48, 50, 52, 54, 56, 58, 60, 	$1,160.00

62, 64mm

LSS Surgical Pty Limited

LS130	Lineage A-Class Crosslinked 	Standard and lateralized, 0deg and 15deg 	28, 32, 36ID	$1,160.00

Polyethylene Liner	lipped crosslinked

LS142	Procotyl L A-class Crosslinked 	A-class crosslinked poly liners, standard 	28,32,36ID	$1,160.00

polyethylene liner,standard & lipped, 	and lipped liners

large head options

LS145	Dynasty Acetabular System /poly liner	A-class Crosslinked polyethylene liner, 	ID 22,28,32,36, 38,40,42,46	$1,160.00	$1,560.00

standard and lipped, large head options

Medacta Australia Pty Ltd

MU019	Versafitcup Acetabular Highly 	Highly Crosslinked UHMWPE	Internal diameter 28,32 & 36, 	$1,160.00

Crosslinked UHMWPE Liner	neutral & hooded

Orthotech Pty Ltd

OH298	JRI CSF Plus Cup Insert 	UHMWPE modified 	10 degree liners 28mm, 32mm, 	$1,160.00	$1,700.00

36mm

Smith & Nephew Surgical Pty Ltd

SM029	EP Fit & MPF Highly cross linked 	Modified UHMWPE	42 -76mm Dia, all head sizes	$1,160.00	$1,607.00

UHMWPE Insert

SM053	Bicon highly cross linked UHMWPE 	Modified UHMWPE	42 -76mm Dia, all head sizes	$1,160.00	$1,607.00

SN291	Reflection	Acetabular Liner XLPE modified UHMPE	22 - 36mm, 42 - 76mm	$1,160.00	$1,607.00

Stryker Australia Pty Ltd

HW072	Vitalock Acetabular system 12  	UHMPE 	22mm,26mm,28mm, 32mm ID	$1,160.00

Crossfire liner

SK318	X3 Trident Acetabular Inserts	Modified UHMPE	Inner diameters: 22mm, 26mm, 	$1,160.00	$1,560.00

28mm 32mm, 36mm, 38 -

64mm.  For outer diameter

shells 40mm - 80mm.

ST546	Stryker Acetabular Crossfire Insert	Modified UHMPE	22 -36mm  ID	$1,160.00

ST549	Trident acetabular component system	Trident polyethlene liner, enhanced 	22, 26, 28, 32mm dia	$1,160.00

polyethlene

ST931	Stryker Acetabular Insert	Enhanced Polyethylene insert	22 - 36mm ID	$1,160.00

Prostheses List by Category, Groups and Sponsor	Page 408 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI045	'Longevity XLPE Acetabular liner	UHMPE modified	46 - 70	$1,160.00	$1,560.00

ZI046	Acetabular Cup	Longevity XLPE Polyethylene Liner 20 	38 - 80	$1,160.00	$1,560.00

Degree

ZI047	Acetabular Cup	Longevity XLPE Polyethylene Liner 10 	38 - 80	$1,160.00	$1,560.00

Degree

ZI048	Acetabular Cup	Longevity XLPE Polyethylene Liner 0 	38 - 80	$1,160.00	$1,560.00

Degree

ZI315	Trilogy Acetabular System - Longevity 	UHMPE modified 	22 + 28 + 32 Head Diameters; 	$1,160.00	$1,560.00

Eccentric	38 - 80mm Outer Diameters

ZI317	Trilogy Acetabular System - Longevity 	Highly crosslinked ultrahigh molecular 	22 + 28 + 32 Head Diameters; 	$1,160.00	$1,560.00

Oblique	weight polyethylene	38 - 80mm Outer Diameters

ZI357	Alpha Durasul Insert	UHMPE modified 	22mm x 42 to 28mm x 68	$1,160.00	$1,560.00

ZI360	Converge	Durasul Insert - Special UHMWPE	22/39 to 38/81mm 	$1,160.00	$1,560.00

ZI393	Variall Screw Cup System	Durasul Insert - special UHMWPE	II28 to NN28mm	$1,160.00	$1,560.00

ZI491	Trabecular Metal Acetabular Revision 	UHMPE modified 	28mm x 48mm-80mm - 0deg &	$1,160.00	$1,560.00

System Longevity Liner 	 10deg; 32mm x 54-80mm -

0deg & 10 deg; 36mm x 58mm-

80mm - 0deg & 10deg; 40mm x

62-80mm - 0deg & 10 deg

ZI620	Continuum Acetabular System	HXPE Liner (Highly Cross Linked) - 	28mm Neutral - EE to QU; 	$1,160.00

Neutral, Elevated, Offset and Oblique	32mm Neutral GG to VV; 36mm

Neutral II to W; 40mm Neutral

KK to VV; 22mm Elevated - CC

to FF; 28mm Elevated EE to

QU; 32mm Elevated GG to VV;

36mm Elevated II to VV; 28mm

7 mm Offset CC28 to QU28;

32mm 7mm Offset EE32 to

QU32; 36mm 7mm Offset

GG36 to VV36; 28mm Oblique

EE28 to II28; 32mm Oblique

GG32 to VV32; 36mm Oblique

II36 to VV36

Group 20c - Insert/Liner, ceramic

Advanced Surgical Technologies

AD116	Transcend/ Lineage Articulation System	Ceramic Liner, biolox forte	28mm & 32mm Group 1,2,3 & 4	$2,560.00

Prostheses List by Category, Groups and Sponsor	Page 409 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AD261	Procotyl-E cup ceramic inserts	Ceramic insert, biolox forte	Group 1 - 3, Size 28 and 32	$2,560.00

Austofix

AX063	Austofix Ceramic System	Captiv ceramic liner - Biolox	48-69mm	$2,560.00

B Braun Australia Pty Ltd

BB235	Plasmacup Ceramic Insert	Biolox liner	26mm, 28mm, 32mm, 36mm	$2,560.00

Corin Australia Pty Ltd

CR063	Ceramic Insert for Cera Fit Acetabular 	Ceramic insert, Biolox Forte	For 28-36mm heads	$2,560.00

CR120	Horizon Ceramic Liner	Ceramic insert, Biolox Forte	9 sizes for 28, 32 and 36mm 	$2,560.00

Exactech Australia

EX001	Novation Ceramic AHS Liner	Novation Ceramic AHS is indicated for 	Group 1 brown 28mm ID, 	$2,560.00

use in primary total hip arthroplasty in 	Group 2 Blue 32mm ID, Group

skeletally mature patients with non-	3 gray 36mm, Group 4 purple

inflmmatory degenerative joint disease.	36mm ID, Group 5 green 36mm

Finsbury Orthopaedics Australia Pty Ltd

FI023	Adept CoC Acetabular component	Biolox forte 'Liner	.	$2,560.00

FI051	Adler Ceramic Acetabular Liners	Ceramic Liners - for Fixa Cups	Biolox Forte & Delta, 28,32,36 	$2,560.00

& 40 mm ID

FOL Technology PTY Ltd

FO009	Samo acetabular cup ceramic insert	Ceramic insert	28 - 40	$2,560.00

Global Manufacturing Technology Pty Ltd

GM024	Cer-Met II Ceramic Insert	Ceramic, Biolox Forte	46mm to 66mm	$2,560.00

GM049	Fin II Ceramic Insert	Ceramic, Biolox Forte	44 to 72mm	$2,560.00

GM114	Global Acetabular Ceramic Insert	Ceramic, Biolox Forte	44-72mm	$2,560.00

Global Orthopaedic Technology

GO039	Consensus Acetabular Ceramic Liner	Ceramic, biolox forte	42mm to 68mm	$2,560.00

Johnson & Johnson Medical Pty Ltd

DY034	Duraloc Option Acetabular Shell 	Ceramic, Biolox Forte	46-66 mm	$2,560.00

Ceramic Insert

DY512	Pinnacle Acetabular Cup System	Pinnacle ceramic liner	44 - 66mm	$2,560.00

Lifehealthcare Pty Ltd

LH177	GL - Alumina U Liner	Ceramic Insert Biolox	46-64mm (increment by 2mm)	$2,560.00

Prostheses List by Category, Groups and Sponsor	Page 410 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lima Orthopaedics Australia Pty Ltd

LC017	Lima Delta  Ceramic Liner	Ceramic Liner, biolox forte and delta	A, B, C, D, E	$2,560.00	$2,650.00

Link Orthopaedics  Australia

LO151	BetaCup Cementless Acetabular Cup 	Ceramic Insert	28mm>	$2,560.00

LSS Surgical Pty Limited

LS035	Transcend/ Lineage Articulation System	Ceramic Liner, biolox forte	28mm & 32mm Group 1,2,3 & 4	$2,560.00

LS108	Procotyl-E cup ceramic inserts	Ceramic insert, biolox forte	Group 1 - 3, Size 28 and 32	$2,560.00

Mathys Orthopaedics Pty Ltd

MA421	SeleXys Acetabular Bionit Ceramic Liner	Bionit ceramic (alumina)	44-72mm	$2,560.00

Medacta Australia Pty Ltd

MU012	Versafitcup Ceramic Insert	Ceramic, Biolox Forte	Head dia 28mm (48 to 64) or 	$2,560.00

32mm (52 to 64) or 36mm (54

to 64)

Orthotech Pty Ltd

OH288	JRI CSF Cup Ceramic Insert	Ceramic Inserts, Alumina oxide, Biolox 	28mm	$2,560.00	$2,600.00

OH297	JRI CSF Plus Cup ceramic Insert	CSF Plus Cup Liner, Delta Liner 	28mm, 32mm, 36mm	$2,560.00	$2,800.00

Smith & Nephew Surgical Pty Ltd

SM021	Bicon Ceramic Insert	Ceramic, Biolox Forte	For shells 1-9, all head sizes	$2,560.00

SM027	EP Fit & MPF Ceramic Insert	Ceramic, Biolox Forte	For 42 -76mm shells, all head 	$2,560.00

SM143	EP fit & MPF Delta Ceramic Insert	Ceramic Delta Acetabular Liners	44mm-72mm *28mm - 44mm	$2,620.00

SN297	Reflection 	Acetabular Liner Ceramic, AlO3 biolox 	28 - 36mm, 46 - 66mm OD	$2,560.00

Stryker Australia Pty Ltd

ST565	Alumina acetabular inserts	Ceramic insert, alumina	28, 32 & 36mm dia	$2,560.00

Zimmer Pty Ltd

ZI044	Trilogy AB Ceramic Liner	Biolox forte	48 - 70	$2,560.00

ZI394	Variall Screw Cup System	Cerasul Insert - Ceramic	II28 to NN28mm	$2,560.00

Sa

Biomet Australia Pty Ltd

BI073	Modular Ceramic System	Acetabular Ceramic/ Polyethylene Liner, 	28mm, 32mm, -6 to +12mm	$2,560.00

UHMWPE

Medartis

EO038	Atlas Acetabular Cup System	liner - ceramic and poly 'Titanium & HA	Atlas Alumina Insert Dia 	$2,560.00

Prostheses List by Category, Groups and Sponsor	Page 411 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Portland Orthopaedics (Aust) Pty Ltd

PD019	Equator Plus Ceramic Insert	Ceramic encased in CoCr surround	28mm to 36mm internal 	$2,560.00

Zimmer Pty Ltd

ZI354	Alpha Cerasul Insert	UHMPE unmodified with ceramic insert	52 to 70mm 	$2,560.00

Group 20d - Insert/Liner, metal

Advanced Surgical Technologies

AD289	Transcend/Lineage Articulation System	Metal CoCr Liner	Grp 1, Grp 2, Grp 3, Grp 4  28, 	$2,100.00

32 & 36mm

AD331	Procotyl L metal liner, large head options	CoCr superfinished Metal liners	28,32,36ID	$2,100.00

AD335	Dynasty Acetabular System / metal 	Dynasty Metal liner	ID 28,32,36,38,40,42,44,48	$2,100.00	$2,354.00

liner, large head options

Biomet Australia Pty Ltd

BI057	M2A taper 	Metal Acetabular Insert, Chrome Cobalt	Standard	$2,100.00

Corin Australia Pty Ltd

CR164	Trinity Metal Liner	Metal liner for use with the Trinity 	28mm, 32mm, 36mm, 40mm	$2,100.00

acetabular shell

ESKA Australia

EK037	BS Acetabular Shell Metal Liner	CoCr, large diameter, metal on metal, 	36 -48mm 'inner diameter, 46-	$2,100.00

insert varying thickness, can be used with	66mm outer diameter

conventional & resurfacing heads

Finsbury Orthopaedics Australia Pty Ltd

FI048	Fixa Cup	Solid Titanium, Porous & HA Coated, 	44-66mm	$2,100.00	$2,500.00

Screw Holes with Plugs, Hemispherical

Acetabular Cup

FI049	Adler Metal Acetabular Liners	Metal Liners - for Fixa Cups	Metal Liner 32.36, 40mm ID	$2,100.00	$2,300.00

Global Manufacturing Technology Pty Ltd

GM119	Global Metal Acetabular Inserts	CoCr, metal on metal, varying diameter	Multiple sizes	$2,100.00

GM127	Contile Finn II, Acetabular system, 	Acetabular Insert Metal	metal on metal 28mm 44mm to 	$2,100.00

insert metal	50mm

metal on metal 32mm 48mm to

62mm

metal on metal 36mm 52mm to

72mm

Prostheses List by Category, Groups and Sponsor	Page 412 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY021	Ultima & Ultamet Acetabular Metal Liner	CoCr, Metal on metal liners used with 	28-44mm inner diameter,44-	$2,100.00

SROM & Pinnacle Acetabular shells	66mm outer diameter

DY513	Pinnacle Acetabular Cup System	Pinnacle Ultamet metal liner	44 - 66mm	$2,100.00	$2,288.00

Lima Orthopaedics Australia Pty Ltd

LC012	Lima Cup 	Metal Liner	28mm, 32mm and 36mm	$2,100.00	$2,200.00

LSS Surgical Pty Limited

LS125	Transcend/Lineage Articulation System	Metal CoCr Liner	Grp 1, Grp 2, Grp 3, Grp 4  28, 	$2,100.00

32 & 36mm

LS140	Procotyl L metal liner, large head options	CoCr superfinished Metal liners	28,32,36ID	$2,100.00

LS144	Dynasty Acetabular System / metal 	Dynasty Metal liner	ID 28,32,36,38,40,42,44,48	$2,100.00	$2,354.00

liner, large head options

Mathys Orthopaedics Pty Ltd

MA441	ExpanSys Acetabular Metal Liner	CoCr, metal on metal with UHMWPE 	Metal on metal inlay 28mm i.d. 	$2,100.00

sandwich	44 - 70mm o.d., 32mm i.d. 52 -

56mm o.d., 36mm i.d. 58 -

70mm o.d.

MA495	SeleXys Acetabular metal (metamys) 	metal on metal acetabular liner	42mm, 44mm, 50mm, 54mm 	$2,100.00	$2,288.00

and 56mm

Smith & Nephew Surgical Pty Ltd

SN845	Reflection	CoCr Acetabular Insert	52 - 60mm	$2,100.00	$2,425.00

Zimmer Pty Ltd

ZI619	Continuum Acetabular System	Metasul Taper Liners	28mm DD28 to GG28; 32mm 	$2,100.00	$2,354.00

FF32 to II32; 36mm HH36 to

TT36; 40mm JJ40 to W40

Sa

Mathys Orthopaedics Pty Ltd

MA494	SeleXys Acetabular metal (metamys) 	metal on metal acetabular liner with 	42mm - 72mm in 2mm 	$2,100.00	$2,388.00

UHWPE- metal sandwich for larger sizes

sandwich

Dj Orthopaedics Pty Ltd

DD043	FMP Acetabular System - Acetabular 	Modular metal on metal liner, available in 	28mm ID, 34mm ID, 38mm ID,	$2,300.00

cup insert, metal on metal	28mm ID, 34mm ID, 38mm ID, to fit 	 to fit FMP Acetabular Cups

FMP Acetabular Cup system	from 48 mm to 70mm OD

Prostheses List by Category, Groups and Sponsor	Page 413 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 20e - Insert/Liner, constrained

Biomet Australia Pty Ltd

BH041	Avantage Dual Mobility Acetabular Cup 	UHMWPE Dual Mobility Liner	44-66mm diameter shells	$1,481.00	$1,836.00

Inlay

BI092	Mallory Head Hip System	Acetabular Liner,  Constrained, Ringloc, 	28-38mm	$1,836.00	$3,000.00

UHMWPE

BI878	Freedom Constrained Liner	Constrained Acetabular Liner - 	23 to 62	$1,836.00	$3,000.00

BI928	Tripolar Acetabular Cup Series	Ringloc Series, UHMWPE, Chrome Cobalt	24-28mm	$832.00	$3,346.00

Corin Australia Pty Ltd

CR162	Saturne acetabular liner	Polyethylene liner for double mobility cup	Sizes 44/22; 46/22; 48/28; 	$1,481.00

50/28; 54/28; 56/28; 60/28;

Dj Orthopaedics Pty Ltd

DD046	FMP Acetabular System - Constrainer 	28mm constrained liner and titanium 	28mm ID, from MP5 to MP12 	$1,636.00

locking ring is used with the FMP 	(40mm through to 70mmOD)

acetabular system to treat recurrent

Exactech Australia

EX005	Novation Crown Cup Constrained Liner 	Sphere and taper liner diameter geometry 	Locking Ring is one size and 	$1,481.00

and Ring	for compatability with the Novation 	Constrained Liner: Group 1:

48/50mm, shells, 38mm ID;

Group 2: 53/54mm, shells,

32mm ID; Group 3: 56/58mm

shells, 36mm ID; Group 4:

60/62mm shells, 36mm ID;

Group 5: 64/66/68mm shells,

Global Manufacturing Technology Pty Ltd

GM124	Global Acetabular System- Highly 	highly cross linked and annealed 	28mm, 32mm  36mm Diameter 	$1,836.00	$2,131.00

cross-linked and Annealed constrained 	constrained liner	Neutral, 10 degree and 20

degree size range 44mm to 72mm

GM126	Global acetabular system - constrained 	constrained polyethylene liner	Diameter 28mm, 32mm and 	$1,481.00

36mm 44mm to 72mm Neutral,

10 degree and 20 degree

Johnson & Johnson Medical Pty Ltd

DP969	SROM Acetabular Constrained 	UHMWPE Constrained liner includes 	0Deg, 10 Deg, 28mm, 32mm,	$1,481.00

UHMWPE Liner	locking ring

Prostheses List by Category, Groups and Sponsor	Page 414 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU024	Versafitcup UHMWPE  Constrained 	UHMWPE Constrained Liner for 	For head diameter 22mm sizes 	$1,650.00

Versafitcup Dual Mobility Acetabular 	46 - 64mm. For had diameter

28mm sizes 48 - 64mm.

Smith & Nephew Surgical Pty Ltd

SM042	Bicon Constrained Liner	UHMWPE	1 - 9, 28mm, 32mm	$1,481.00

SM134	POLAR Dual Mobility Constrained Liner	UHMWPE	FOR '22.2-28MM Head sizes 	$1,481.00

and 43-72MM diameter shells

SM135	POLAR Dual Mobility Constrained 	Modified UHMWPE	FOR '22.2-28MM Head sizes 	$1,481.00	$1,836.00

Highly Cross Linked Liner	and 43-72MM diameter shells

SN689	Reflection	Constrained Acetabular Liner unmodified 	22 - 32mm, 42 - 76mm	$1,636.00

UHMWPE

SN856	R3 Acetabular System	XLPE Constrained Acetabular liner	40-78mm	$1,836.00

Stryker Australia Pty Ltd

SK501	Restoration Anatomic Dual Mobility 	The polyethylene insert for the 	42mm - 58mm  Inserts are 0 	$1,481.00

Polyethylene Insert	Restoration ADM component articulates 	degrees with an inner diameter

with the highly polished inner surface of 	of 28mm

the Restoration ADM cup and is

articul;ated with a standard cobalt-

chrome or ceramic 28mm diameter

SR067	Anatomic X3 Liners	Anatomic X3 Liner with constraint	36mm, 40mm, 44mm, 48mm 	$1,836.00

and 52mm

ST539	Constrained acetabular insert 	UHMPE & cobalt chrome bipolar 	22, 26, 28, 32mm dia	$3,016.00

constrained insert

Zimmer Pty Ltd

ZI030	Trilogy Constrained Liner - Polyethylene	UHMPE unmodified 	50 - 80	$1,481.00	$3,345.00

ZI318	Trilogy Acetabular System - Longevity 	UHMPE modified 	22 + 28 + 32 Head Diameters; 	$1,761.00	$3,345.00

Constrained	38 - 80mm Outer Diameters

ZI561	Trabecular Metal Acetabular Revision 	Cemented Constrained Liner	50x28mm; 52x28mm; 	$3,016.00

System	54x32mm; 56x32mm;

58x36mm; 60x36mm;

66/68/70x36mm; 72/74x36mm;

Prostheses List by Category, Groups and Sponsor	Page 415 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI568	Trilogy Acetabular System	Longevity Constrained Liner	50/52/54mmODx28mmID; 	$3,016.00

56mmODx32mmID;

58mmODx32mmID;

60mmODx36mmID;

62mmODx36mmID;

64mmODx36mmID;

66mmODx36ID;

68mmODx36mmID;

70mmODx36mmID;

72mmODx36mmID;

74mmODx36mmID;

76mmODx36mmID;

78mmODx36mmID;

80mmODx36mmID

CR

Johnson & Johnson Medical Pty Ltd

DP014	Duraloc & Pinnacle Constrained Inserts	UHMWPE, constrained liner with titanium	Inner diameter 28-44mm, 36-	$1,836.00

alloy locking ring	76mm outer diameter

Stryker Australia Pty Ltd

ST932	Stryker Trident Constrained Acetabular 	Two pre assembled components: Outer 	Sizing 22 - 32mm in 0 degrees 	$3,016.00

Insert	insert component and a captured UHR 	& 10 degrees

(Universal Head) component.

Composition - Cobalt chrome alloy and

UHMWPE (ultra high molecular weight

polyethylene) with a Titanium 6A1-4V

Group 20f - Insert/Liner other

Advanced Surgical Technologies

AD332	Procotyl L Delta Ceramic Liner	Delta ceramic liners	28, 32, 36ID	$2,560.00

B Braun Australia Pty Ltd

BB318	Plasmacup Delta	36mm combination plasmacup HA coated	36mm x 48mm - 54mm 	$5,100.00	$5,500.00

shell & Biolox Delta liner

Corin Australia Pty Ltd

CR158	Biolox Delta Acetabular Liner	Biolox Delta ceramic acetabular liner	28mm, 32mm, 36mm	$2,500.00

ESKA Australia

EK006	2000 Plus Acetabular Ceramic Liner	Ceramic, (Alumina & Polyurethane), 	28-32mm inner diameter	$2,500.00

hooded & neutral

Prostheses List by Category, Groups and Sponsor	Page 416 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

EK065	BS Acetabular Ceramic Insert	Ceramic, (Alumina & Polyurethane), for 	36 - 48mm inner diameter, 46 - 	$2,500.00

larger diameter heads	66mm outer diameter

EK090	Biolox Delta Acetabular Liner	Biolox Delta ceramic acetabular liner	28mm, 32mm, 36mm	$2,500.00

Global Manufacturing Technology Pty Ltd

GM130	Contile Fin II Acetabular Biolox Delta 	Contile Fin II Acetabular Biolox Delta 	Inserts 28mm 44mm to 46mm, 	$2,620.00

Ceramic Liners	Ceramic Liner inserts 28mm,32mm & 	Inserts 32mm 48mm to 66mm,

Inserts 36mm 52mm to 66mm

Johnson & Johnson Medical Pty Ltd

JJ703	Gyros Hip System	Dual mobility constrained liners, 	44-68mm	$1,481.00

unmodified UHMWPE for Gyros Cup.

LSS Surgical Pty Limited

LS141	Procotyl L Delta Ceramic Liner	Delta ceramic liners	28, 32, 36ID	$2,560.00

Mathys Orthopaedics Pty Ltd

MA486	SeleXys Acetabular Ceramys Ceramic 	Ceramys ceramic (zirconia & alumina 	28/AA, 28/BB, 28/CC, 28/DD, 	$2,620.00	$2,760.00

combination)	32/CC, 32DD, 32/EE,

32/FF,36/EE, 36/FF, 36/GG,

386HH,36/II, 36/JJ, 36/KK,

Medacta Australia Pty Ltd

MU013	Versafitcup Delta Ceramic Insert	Ceramic, Delta	32mm (48 to 50) or 36mm (54 	$2,620.00

to 64)

Zimmer Pty Ltd

ZI621	Continuum Acetabular System	Biolox Delta Taper Ceramic Liner	28mm: EE28 to HH28; 32mm: 	$2,620.00

GG32 to JJ32; 36mm: II36 to

TT36; 40mm: KK40 to VV40

R

Smith & Nephew Surgical Pty Ltd

SN855	R3 Acetabular system	Delta Ceramic Liner	40-78mm	$2,620.00	$2,717.00

Group 21a - UHMWPE

Mathys Orthopaedics Pty Ltd

MA031	RM Classic Acetabular Cup	Titanium with lugs bonded bearing 	46mm - 68mm	$3,000.00

surface UHMWPE

MA472	RM Pressfit Cup	Titanium bonded bearing surface 	46-64mm	$3,000.00

Prostheses List by Category, Groups and Sponsor	Page 417 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SI

Finsbury Orthopaedics Australia Pty Ltd

FI002	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with 	44-66 outer diameter going up in	$3,400.00	$3,640.00

presembleed with unmodified UHMPE	 2mm increments

Group 21d - Metal

Sa

Mathys Orthopaedics Pty Ltd

MA023	RM Classic Acetabular Cup, Metal on 	Titanium with lugs and CoCr bonded 	46mm - 68mm	$4,200.00

bearing surface plus UHMWPE sandwich

MA473	RM Pressfit Acetabular Cup, Metal on 	Titanium and CoCr bonded bearing 	46-64mm	$4,200.00

surface plus UHMWPE sandwich

Group 21e - Other

Finsbury Orthopaedics Australia Pty Ltd

FI004	Delta motion acetabular cup	Titanium, plasma with HA cup with 	42 - 66 going in 2 mm 	$5,220.00	$5,320.00

presembleed delta ceramic liner	Increments             168 - 102

Acetabular Cup - 42 OD 32

bore,   168 - 104Acetabular Cup

- 44 OD 32 bore,   168 - 106

Acetabular Cup - 46 OD 36

bore,   168 - 108 Acetabular

Cup - 48 OD 36 Bore,   168 -

110 Acetabular Cup - 50 Od 40

F

Finsbury Orthopaedics Australia Pty Ltd

FI003	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with 	44-66 Outer diameter going up 	$4,000.00

presembleed with unmodified UHMPE 	in 4mm increments

with dysplasia flange

FI005	ADEPT CoC Acetabular component	Titanium, plasma with HA cup with 	44-66 Outer diameter going up 	$6,220.00

presembleed delta ceramic liner with 	in 4mm increments

dysplasia flange

Group 22b - Uncemented metal on metal, not resurfacing

Biomet Australia Pty Ltd

BI055	M2A taper 	Metal on Metal Acetabular Shell, Titanium	46 - 70mm	$2,300.00

Prostheses List by Category, Groups and Sponsor	Page 418 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI783	M2a Modular Head Component & 	Metal on Metal Acetabular, Chrome 	48-70 mm	$5,084.00

Special Acetabular Cup	Cobalt, Ti, no HA

Group 23 - Ceramic

Lima Orthopaedics Australia Pty Ltd

LC007	Lima Total Hip Replacement System	Mueller Ceramic and UHMWPE Cup 	44 - 62mm	$1,900.00

(Cemented)

Group 24a - Resurfacing, metal, not HA

Advanced Surgical Technologies

AD313	Conserve Total SUPERFIX Shell	Porous coated, super finished, revision 	50mm - 72mm OD	$4,650.00	$6,300.00

resurfacing cup with fins and screws

Biomet Australia Pty Ltd

BI841	Resurfacing Hip System	Acetabular Shell CoCr, Ti	44 - 66mm	$4,650.00	$5,084.00

LSS Surgical Pty Limited

LS131	Conserve Total SUPERFIX Shell	Porous coated, super finished, revision 	50mm - 72mm OD	$4,650.00	$6,300.00

resurfacing cup with fins and screws

Zimmer Pty Ltd

ZI467	Durom resurfacing cup 	CoCr and Titanium, plasma spray, non 	A - V	$4,650.00	$5,650.00

Mod3CoA

Corin Australia Pty Ltd

CR155	Extreme Revision Hip Metaphyseal 	Metaphyseal segment, adjustable rotation,	4 sizes	$3,520.00

anodized titanium with HA coating

CR156	Extreme Revision Hip Monobloc 	Combined metaphyseal and epiphyseal 	4 sizes	$4,520.00

Epiphysis Metaphyseal Section	sections, adjustable rotation, anodized

titanium with HA coating

Group 24b - Resurfacing, metal, HA

Advanced Surgical Technologies

AD213	CONSERVE PLUS Total Hip 	Titanium Acetabular Shell - Super 	ID 36 - 54mm, OD 46 - 64mm	$5,150.00

Resurfacing System

AD229	Conserve Plus Total Hip Resurfacing 	Titanium Thin Acetabular Shell - Super 	36 - 54mm ID in 2mm 	$5,150.00

System	Polished

Prostheses List by Category, Groups and Sponsor	Page 419 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biomet Australia Pty Ltd

BI842	Resurfacing Hip System	Acetabular Shell CoCr, Ti, HA Coated	44 - 66mm	$5,150.00

Corin Australia Pty Ltd

CR048	Cormet Resurfacing Cup	Metal on Metal bearing surface, Titanium,	Dia 40 -56mm	$5,150.00

Plasma spray with HA Coating (Bicoat)

CR087	Cormet Dysplasia Cup	Dysplasia cup with three-holed proximal 	48, 52, 56, 60, 64mm	$7,000.00

flange, Metal on Metal bearing surface,

Titanium, Plasma spray with HA Coating

(Bicoat)

Finsbury Orthopaedics Australia Pty Ltd

FI013	Adept MoM Acetabular Component	Porocast beaded Shell , Co Cr, HA coated	44-66mm Outer diameter going 	$5,150.00

size 44-66mm	up in 2mm increments

Global Orthopaedic Technology

GO048	ICON Acetabular Cup	CoCr, beaded, HA coating, with fins, 	44-66mm cups	$5,150.00

resurfacing, metal on metal

Johnson & Johnson Medical Pty Ltd

DY328	ASR Acetabular Cup	CoCr beaded with HA, Resurfacing metal 	44-70mm	$5,150.00

on metal bearing surface.

JJ605	ASR 300 Acetabular Cup	CoCr, beaded, with HA, (duofix) & 3 	44 - 70mm	$7,000.00

additional spikes for fixation

LSS Surgical Pty Limited

LS078	CONSERVE PLUS Total Hip 	Titanium Acetabular Shell - Super 	ID 36 - 54mm, OD 46 - 64mm	$5,150.00

Resurfacing System

LS085	Conserve Plus Total Hip Resurfacing 	Titanium Thin Acetabular Shell - Super 	36 - 54mm ID in 2mm 	$5,150.00

System	Polished

Medacta Australia Pty Ltd

MU055	ROMAX Acetabular Cup	Cementless Acetabular Cup, HA coated	From diameter 44-66mm, every 	$5,150.00

2mm

Smith & Nephew Surgical Pty Ltd

SN742	Birmingham Hip Resurfacing Prostheses	Cobal Chrome, beaded, HA	44 - 66 mm cups	$5,150.00	$6,180.00

- Acetabular Cup

Stryker Australia Pty Ltd

SR044	Mitch Hip System	Titanium, plasma spray, HA	44mm - 66mm	$5,150.00

SR070	Mitch Hip System - Dysplasia Cup	Dysplasia Cup	44mm-68mm	$7,000.00

Prostheses List by Category, Groups and Sponsor	Page 420 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

F

Advanced Surgical Technologies

AD321	Quadra-Fix Acetabular Shell	Dysplasia Cup, Porous Coated, HA	O.D. 44mm - 66mm	$7,000.00

Finsbury Orthopaedics Australia Pty Ltd

FI014	Adept MoM Acetabular Component - 	Porocast beaded Shell , Co Cr, HA 	46-66mm Outer diameter going 	$7,000.00

Extra Fixation Cup	coated, dysplasia flange 	up in 4mm increments

Johnson & Johnson Medical Pty Ltd

JJ651	ASR PLUS Cup - ASR Hip System	Acetabular Cup	42-70mm	$7,000.00

LSS Surgical Pty Limited

LS135	Quadra-Fix Acetabular Shell	Dysplasia Cup, Porous Coated, HA	O.D. 44mm - 66mm	$7,000.00

Flange Suffix

Global Orthopaedic Technology

GO050	ICON Dysplasia Resurfacing Acetabular	CoCr, beaded, HA coating, with fins, 	46-66mm	$7,000.00

Cup	resurfacing, metal on metal, with flange

Smith & Nephew Surgical Pty Ltd

SN744	Birmingham Hip Resurfacing Dysplasia 	Cobal Chrome, beaded, HA with screw 	Dysplasia Cups:  46 - 66 mm 	$7,000.00	$7,995.00

fixation

Group 24c - Resurfacing, ceramic

ESKA Australia

EK056	BS Acetabular Resurfacing Ceramic 	Ceramic, (Alumina & Polyurethane), for 	38-58mm	$2,600.00

resurfacing heads

Hip D - Acetabular Reconstruction Devices

Group 25 - Acetabular Reconstruction Shells

Advanced Surgical Technologies

AD262	Procotyl-E cup	acetabular reconstruction shell titanium 	52mm - 76mm, in 2mm 	$5,096.00

B Braun Australia Pty Ltd

BB247	Reconstruction Shell	Isotan	52-64mm, left and right	$2,912.00

Biomet Australia Pty Ltd

BI704	Par 5 Protrusio Acetabular System	Acetabular reconstruction Shells - 	56 - 72mm	$6,380.00

Titanium Metal, no HA

Prostheses List by Category, Groups and Sponsor	Page 421 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI836	Par 5 Protrusio Acetabular System	Acetabular reconstruction Shell CrCo, Ti,	56 - 72mm	$6,760.00

HA Coated

BI914	Batcup	Revision Acetabular Cup including 	21 to 24mm	$4,680.00

locking ring and lugs

Corin Australia Pty Ltd

CR160	Saturne reconstruction cup	Dual coated, mobile, cementless 	Sizes: 50 - 66mm	$4,295.00

reconstruction cup

ESKA Australia

EK027	Cranial Acetabular Reconstruction Shells	CoCr, Titanium, 3 dimensional, non HA, 	52mm - 72mm Left and Right	$3,877.00

various locking & flanges from eccentric

to small & large proximal flanges

Johnson & Johnson Medical Pty Ltd

DP945	Octopus Acetabular Reconstruction Shell	Titanium, grit blast, HA coating, rimmed, 	Size 50, 55mm	$1,426.00

used in conjunction with Octopus Outer

Reconstruction Ring (DP948)

Lima Orthopaedics Australia Pty Ltd

LC022	Lima reconstruction shell	Acetabular reconstruction shell	50 - 66mm	$5,150.00

LC025	Lima Bilobo Hemisphere bone revision 	Acetabular reconstruction shell	50 - 58mm	$5,720.00	$5,990.00

Link Orthopaedics  Australia

LO013	Link McMinn Acetabular 	Acetabular reconstruction cell	45 - 55 mm	$3,744.00

Reconstruction Cup System

LSS Surgical Pty Limited

LS109	Procotyl-E cup	acetabular reconstruction shell titanium 	52mm - 76mm, in 2mm 	$5,096.00

Smith & Nephew Surgical Pty Ltd

SM039	BOFOR Acetabular Reconstruction Shell	Titanium, plasma spray, eccentric design 	48mm X + 5mm - 70mm X 	$4,295.00

with multiple fixation holes

Zimmer Pty Ltd

ZI249	Trabecular Metal Reconstruction Shell	Porous tantalum, reconstruction shell 	22 and 28mm diameter	$3,166.00	$3,300.00

ZI371	Lor Acetabular Cup 	Oblong Revision Shell, cementless - Ti 	52/58 to 72/84	$3,952.00

ZI372	Lor Acetabular Cup 	P/E Insert	28, 32	$1,226.00

Prostheses List by Category, Groups and Sponsor	Page 422 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 26 - Acetabular Reconstruction Cages

Advanced Surgical Technologies

AD266	Procotyl-E double plate	titanium alloy	4, 5 and 6 holes left and right 	$1,040.00

AD268	Procotyl-E L Plates	titanium alloy	One size only for left and right	$1,040.00

Biomet Australia Pty Ltd

BI970	Regenerex Revision Shell	Acetabular support component Porous Ti 	54 to 76mm OD,  44 to 66 ID	$6,830.00

Alloy

BI982	Mainstream Burch/Schneider 	Burch/Schneider Reinforcement Ring 	44/50 Left and Right, 50-56 Left	$1,040.00

Reinforcement Ring	Cemented	 and Right

BI983	Max-Ti Modular Protrusio Cage	Acetabular Support Component, Porous 	52, 56, 60, 64, 68 and 72mm 	$3,500.00

Ti Alloy	Left and 52, 56, 60, 64, 68 and

72 mm Right

FOL Technology PTY Ltd

FO003	Samo Revision Hip System acetabular	Acetabular reinforcement ring with hook	44 - 64 mm	$1,085.00	$1,500.00

FO004	Samo Revision Hip System acetabular	Acetabular reinforcement ring	44 - 64 mm	$1,040.00

Global Manufacturing Technology Pty Ltd

GM051	Fin II Revision Ring	Titanium with hook & flanges	52 to 72mm	$1,924.00

Johnson & Johnson Medical Pty Ltd

DP948	Octopus Reconstruction Ring	Titanium ring with proximal flanges & 	Size 50-55mm	$889.00

distal hook, used in conjunction with

Acetabular Reconstruction shell (DP945)

DY064	Protrusio Acetabular Reconstruction 	Titanium, grit blast, proximal distal 	49-57 ID and 52-60 OD	$889.00

flange, left & right sided

DY169	Ultima Acetabular Reconstruction Ring	Titanium, acetabular reconstruction cage 	40 - 70mm	$1,301.00

with proximal rim

Prostheses List by Category, Groups and Sponsor	Page 423 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH175	B2C Espace Acetabular Cup	Acetabular cage	Espace Shell 0 degrees peak - 	$6,240.00

diam 50mm, 54mm, 58mm,

62mm with plastic insert,

Espace Shell 20 degrees peak -

diam 50mm, 54mm, 58mm,

62mm with plastic insert,

Espace Shell 8mm extension -

diam 50mm, 54mm, 58mm,

62mm with plastic insert,

Espace Shell 14mm extension -

diam 50mm, 54mm, 58mm,

62mm with plastic insert,

Espace Shell 20mm extension -

diam 50mm, 54mm, 58mm,

Lima Orthopaedics Australia Pty Ltd

LC021	Lima acetabular plate 	Acetabular reconstruction cage 	50, 54, 58, 62, 64mm	$2,288.00	$2,395.00

Link Orthopaedics  Australia

LO028	LINK Partial Pelvis Replacement	Acetabular reconstruction cage	48-67mm	$3,848.00

LO029	LINK Partial Pelvis Replacement	Acetabular reconstruction cage with 	48-67mm	$4,056.00

inferior flange

LSS Surgical Pty Limited

LS113	Procotyl-E double plate	titanium alloy	4, 5 and 6 holes left and right 	$1,040.00

LS115	Procotyl-E L Plates	titanium alloy	One size only for left and right	$1,040.00

Mathys Orthopaedics Pty Ltd

MA024	CCE Acetabular Reinforcing Ring	Titanium, grit blast, acetabular 	Dia 42 - 58mm	$1,040.00

reconstruction cage with proximal rim

Orthotech Pty Ltd

OH291	JRI Reconstruction Ring 	Acetabular reconstruction cage 	44mm, 47mm, 50mm, 54mm	$1,085.00	$1,700.00

Smith & Nephew Surgical Pty Ltd

SN265	Contour	Acetabular  Reinforcement cage	44 - 74mm OD	$1,426.00

Stryker Australia Pty Ltd

HW064	Kerboull -  Vitallium	Petrusio cage	44, 48, 52, 56, 60mm OD	$1,153.00

ST547	Restoration acetabular gap ring 	Acetabular reconstruction cage  	48-72mm OD in 2mm increments	$3,432.00

ST557	Restoration  gap cup II acetabular cage	Acetabular reconstruction cage with 	48-72mm OD in 2mm 	$3,952.00

extended plates

Prostheses List by Category, Groups and Sponsor	Page 424 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI001	Zimmer Acetabular roof ring	Acetabular reconstruction cage 	46 - 60mm	$1,085.00

ZI002	Zimmer Acetabular Reconstruction Cage 	Acetabular Reconstruction Cage - Left, 	52, 58, 64mm OD	$1,085.00

ZI390	Acetabular Reinforcement	Roof Ring - Ti alloy	44 to 58mm	$1,085.00

ZI391	Acetabular Reinforcement	Roof Ring with Hook - Ti alloy	36/23 to 64/23mm	$1,085.00

ZI392	Acetabular Reinforcement	Protrusio Cage - Ti alloy	44 to 50mm (left and right)	$1,085.00

ZI540	Trabecular metal acetabular revision 	Modular cup-cage titanium alloy	56-80 Long & short flanged left 	$6,830.00

system modular cup-cage	& right

Group 27 - Acetabular Reconstruction Saddles

Link Orthopaedics  Australia

LO009	LINK Endo - model Saddle Prosthesis	Saddle Component	One size only	$4,976.00

LO010	LINK Endo - Model Saddle Prosthesis	Saddle Base Component	Sizes 1-7	$3,909.00

Hip E - Special Needs Group

Group 28 - Other, Products Known as Custom Devices

Biomet Australia Pty Ltd

BI889	Orthopaedic Salvage System	Proximal Femoral Component, Letson or 	7cm Left or Right	$6,552.00

Finn, Anatomic, Ti

Group 29 - Special Purpose Tumour Products

Advanced Surgical Technologies

AD338	Guardian Limb Salvage System	Guardian Femoral Neck	One Size Only	$2,959.00

Corin Australia Pty Ltd

CR123	METS Smooth Trochanter	Titanium, uncoated	small and standard	$5,150.00

CR124	METS Spiked Trochanter	Titanium, HA coated	Small and Standard	$8,000.00

CR128	METS Total Femoral Link Component	Curved titanium link shaft	165mm, 225mm	$4,279.00

CR129	METS Principal Shaft	Titanium shaft	45mm-150mm	$4,279.00

CR139	METS stippled Integral Shaft and Stem	Titanium, HA coated, shaft and stem with	L=15,30mm; D=27,30mm 	$7,833.00

round or oval collar	(round); D=30x38,36x44mm

Prostheses List by Category, Groups and Sponsor	Page 425 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CR147	METS Smooth Integral Shaft & Stem	Titanium, uncoated, shaft and stem with 	L=15,30mm D=27,,30mm 	$6,433.00

round or oval collar	(round) D=30x38, 36x44 (oval)

ESKA Australia

EK016	ESKA Tumor Revision System MML	Proximal femoral implant	various sizes	$11,225.00

Lima Orthopaedics Australia Pty Ltd

LC002	Lima RPS Femoral System	Modular Spacer	60 - 120mm	$3,640.00

LSS Surgical Pty Limited

LS147	Guardian Limb Salvage System	Guardian Femoral Neck	One Size Only	$2,959.00

Stryker Australia Pty Ltd

SK158	Howmedica Modular Resection System	GMRS Proximal Femoral Component, 	Standard, Trochanteric, Smooth	$8,466.00

Cast Chrome Cobalt

Hip F - Accessory

Biomet Australia Pty Ltd

BI953	Stage One Hip Mold	Spacer mold, stainless steel, silicon.	9 - 17mm x 43 - 64 Head	$1,500.00

BI960	Regenerex revision cup	acetabular augment, Porous Ti Alloy	48 to 58mm, small medium or 	$3,833.00

large version

Finsbury Orthopaedics Australia Pty Ltd

FI035	Delta Modular Head - sleeve	 sleeve for use with Delta Modular Head	neck  length sleeve -3.5, 0. 	$260.00

Global Orthopaedic Technology

GO166	Global Distal Centraliser	PMMA, 	Various	$158.00	$242.00

GO167	R120 Distal Centraliser	PMMA, 	Various	$158.00	$242.00

Medartis

EO005	MRP-TITAN Screws	Locking screw	Short and long	$200.00

Smith & Nephew Surgical Pty Ltd

SN850	Birmingham Hip	Modular Resurfacing Head Sleeve	-8mm to +16mm	$520.00

Zimmer Pty Ltd

ZI271	Trabecular Metal acetabular Medial wall 	Tantalum disc	26mm, 32mm and 38mm	$1,352.00	$1,400.00

augment

ZI276	Trabecular Metal Acetabular Augment	Tantalum acetabular augment	40 - 70mm x 10, 15, 20 	$4,264.00	$4,455.00

Prostheses List by Category, Groups and Sponsor	Page 426 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 30a - Bolt

Biomet Australia Pty Ltd

BI122	Mallory Head Hip System	Trochanter Bolt, Titanium	Round/Oblong	$400.00	$505.00

Global Orthopaedic Technology

GO168	Iso-Elastic™ Cerclage System	Iso-Elastic™ Cerclage Cable Assembly	One Size Only	$2,500.00

Link Orthopaedics  Australia

LO024	Link MP Reconstruction Hip  Prosthesis	Locking bolt 	38 & 58 mm	$400.00

Group 30aa - Augment

Biomet Australia Pty Ltd

BI984	Max-Ti Modular Protrusio Cage	Acetabular Augment, Porous Ti Alloy	Dome Augment (1 Hole Large, 2	$1,352.00	$3,500.00

Hole Large, 1 Hole Small), iliac

flange Augment (6 mm)

Johnson & Johnson Medical Pty Ltd

DP173	PLAD Acetabular Rim Augment	Metal & polyethylene curved plate for 	22- 28mm	$718.00

screw attachment to UHMWPE cemented

cups. Includes 4 screws.

Group 30ab - Cement Restrictor

Global Orthopaedic Technology

GO165	Global Cement Restrictor	PMMA, 	Various	$160.00	$242.00

Johnson & Johnson Medical Pty Ltd

DP233	Hardinge Cement Restrictor	Hardinge cement Restrictor (ea)	One size only	$160.00

DP448	BIO Stop G	Biostop Restrictor (Gelatin, Glkycerol, 	size 8-20	$160.00

PHBM, Water)

DP575	C-Stem End Cap	End Cap Biostop Restrictor (Gelatin, 	Size 8- 20 	$160.00

Glycerol, PHBM, water)

JJ753	Hardinge Cement Restrictor	UHMWPE cement restrictor	One size only	$160.00

JJ754	DePuy Femoral Cement Restrictor	UHMWPE cement restrictor	Size 0 to 10	$160.00

Link Orthopaedics  Australia

LO106	Intramedullary Plug	P/E Intramedullary Plug	12 to 20 mm	$120.00

Prostheses List by Category, Groups and Sponsor	Page 427 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mathys Orthopaedics Pty Ltd

MA018	Intramedullary Plug	Cement Restricter	Small to Extra Large	$160.00

Stryker Australia Pty Ltd

HW001	Hardinge Cement Restrictor	PMMA	6,9 and 12 Leaf	$125.00

SK505	BioPrep Bone Preparation System	Femoral Preparation Kit with cement 	18.5 - 25mm O.D.	$120.00

ST582	Osteonics hip prostheses 	Cement restrictor Polyethylene	Universal and sizes 1-8	$160.00

Zimmer Pty Ltd

ZI226	Zimmer Bone Plug	Allen Medullary Plug	8 - 23mm	$120.00

ZI328	Coonrad/Morrey Elbow Cement 	PMMA/Plastic	Extra Small, Small, Regular	$318.00

ZI356	Medullary Plug, MS 30	Centring Plug, cement restrictor, hip - PE	1 to 7	$145.00

PMMA

Smith & Nephew Surgical Pty Ltd

SN263	Buck	Cement Restrictor 	18.5 - 35mm	$120.00

Group 30c - Centraliser

B Braun Australia Pty Ltd

BB245	Distal centraliser	PMMA	7mm - 18mm	$158.00

BB276	Excia Hip System	Distal Centraliser, PMMA	8mm-18mm	$158.00

Biomet Australia Pty Ltd

BI131	Mallory Head Hip System	Femoral Centraliser, UHMWPE	9-17mm	$158.00	$160.00

Corin Australia Pty Ltd

CR044	Taperfit Stem Centraliser	PMMA Centraliser	Small & Standard	$158.00

Exactech Australia

EX054	Novation Distal Centralizer, PMMA	The Exatech distal centralizer is used for 	Size 10mm, 11mm, 12mm, 	$158.00

cemented only hip arthroplasty, it 	13mm, 14mm, 15mm, 17mm

centralises the stem position in the femur.

Global Manufacturing Technology Pty Ltd

GM141	Edinburgh Femoral Stem Distal 	PMMA - Distal Centraliser	35 x 10mm	$158.00	$242.00

GM142	Edinburgh Femoral Stem Distal 	PMMA - Distal Centraliser	25 x 10mm	$158.00	$242.00

Prostheses List by Category, Groups and Sponsor	Page 428 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP297	Universal Femoral Stem Distal Centraliser	PMMA Distal Centralisers includes 	10-20mm	$158.00

Charnley, Elite Plus, C-Stem and Summit

DP584	PLA Centraliser	Poly Lactic Acid+D108 Centraliser	9-20mm	$158.00

JJ584	Femoral Prep Kit	Femoral Preparation Kit	One size only	$225.00

Mathys Orthopaedics Pty Ltd

MA026	Distal Centraliser	For fullfix stem - PMMA	Dia 8.0/9.5mm - 15/12mm	$158.00

Medacta Australia Pty Ltd

MU002	CONE Femoral Stem Distal centraliser	PMMA	10mm to 18mm	$158.00

Smith & Nephew Surgical Pty Ltd

SN264	Buck	IM Prep Kit	One size only	$225.00

SN269	CPCS	Polished Cemented Stem Distal 	8 - 18	$158.00

SN359	Invis	Distal Centraliser PMMA	7 - 21mm	$171.00

Stryker Australia Pty Ltd

HW034	Definition PM Femoral Component	Distal Centraliser -  PMMA -  Ring 	11-22mm	$158.00

Centraliser

HW057	RELIANCE HIP	Distal Centraliser -  PMMA	10-18mm	$158.00

SK315	Exeter Hip System	Exeter Distal Centraliser -PMMA	One Size Only	$158.00

ST581	Osteonics hip prostheses	Distal spacer  PMMA	8-15mm	$158.00

Zimmer Pty Ltd

ZI013	Zimmer distal centralisers CPT, VerSys,	 PMMA Centraliser  	Size 1	$158.00

Natural and MS30

ZI020	Zimmer VerSys 	Proximal Centraliser - PMMA	11 - 17	$158.00

ZI021	Zimmer Hip Systems Femoral Stem	VerSys Distal Centraliser - PMMA	10 - 18	$158.00

ZI366	Natural Hip System	Distal Centraliser - PE	10 to 19	$158.00

ZI374	MS-30 Hip prosthesis 	Centralizer for Cemented Stems (Protek) 	8 to 18	$158.00

- metal alloys

Group 30e - Claw

Biomet Australia Pty Ltd

BI124	Modular Calcar Mallory Head Revision 	Trochanteric Claw, Titanium	Medium, Large 	$460.00

Hip System

Prostheses List by Category, Groups and Sponsor	Page 429 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 30f - Connector

Biomet Australia Pty Ltd

BI125	Modular Calcar Mallory Head Revision 	Trochanteric Connector	Sizes 40-70mm	$570.00

Hip System

Group 30g - Dome Plug

Advanced Surgical Technologies

AD118	Transcend/Lineage Articulation System	Apical dome plug titanium	One size only	$160.00

Johnson & Johnson Medical Pty Ltd

DY077	Apex Hole eliminator 	Hole eliminator screw Titanium	One size only	$160.00

LSS Surgical Pty Limited

LS036	Transcend/Lineage Articulation System	Apical dome plug titanium	One size only	$160.00

Smith & Nephew Surgical Pty Ltd

SN294	Reflection	Tapered hole cover (Reflection Interfit)	One size only	$160.00

SN295	Reflection	Threaded hole cover (Reflection)	One size only	$160.00

Stryker Australia Pty Ltd

ST551	Osteonics Hip Prostheses	Dome hole plug titanium	One size only	$160.00

Zimmer Pty Ltd

ZI622	Continuum Acetabular System	Screw Hole Plugs	Screw Hole Pack - Three Pack	$160.00

Group 30h - Mesh

Johnson & Johnson Medical Pty Ltd

DP223	Thackray Mesh	Stainless Steel Ortron 90 mesh	200x200mm	$144.00

Stryker Australia Pty Ltd

HW044	Exeter Hip System	X-Change Revision Mesh - Stainless Steel	Acetabular, Femoral and Flat 	$889.00

HW045	Exeter Hip System	X-Change Revision Mesh -Rim -  	Small	$886.00

Stainless Steel

HW046	Exeter Hip System	X-Change Revision Mesh - Rim -  	Large	$855.00

Stainless Steel

HW048	Trochanteric Mesh	Stainless Steel	Small/Large	$510.00

Prostheses List by Category, Groups and Sponsor	Page 430 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI329	CPT Impaction Grafting Mesh	Titanium Femoral or acetabular mesh	6 sizes acetabular rim (small and	$3,367.00

large), medial wall (small and

large), flat and femoral meshes

Group 30i - Head Taper Insert

Biomet Australia Pty Ltd

BI876	Endo II Head	Modular Head Taper Insert - CoCr	-6mm to +6mm	$520.00	Taper insert for BI875

BI895	M2A Magnum Prosthesis	Taper Insert, Cobalt chrome	42 - 50mm, -6, -3, STD, +3, 	$520.00	Taper insert for BI896

+6, +9; 52 - 60mm, -6, -3,

STD,

Johnson & Johnson Medical Pty Ltd

DY329	ASR Taper Adaptor	Titanium taper adaptor for use with ASR 	9/10 or 11/13 or 12/14 taper	$520.00	Taper insert for DY330

Modular head (DY330)

DY403	Cathcart Taper Insert	CoCr head taper insert for use with 	-3 to +10mm	$520.00

Unipolar Head (DY402)

Smith & Nephew Surgical Pty Ltd

SN307	Unipolar	Taper Sleeve Co Cr	12/14 and 14/16 tapers, +0,-	$520.00	Taper insert for SN308

3,+4,+8,+12mm.

Stryker Australia Pty Ltd

ST569	Head Taper Insert	Neck extention, vitallium alloy	-4 TO +12mm	$520.00

E

Johnson & Johnson Medical Pty Ltd

JJ575	ASR XLAnatomic Eccentric Taper Insert	Titanium, eccentric, taper insert	-3.5 to +15.5	$620.00

Group 30j - Neck Adapter

Corin Australia Pty Ltd

CR098	Taper Adaptor Sleeve	Adaptor sleeve to adjust taper from 10-12	2 Sizes	$520.00

to 12-14,Titanium, for Ceramic Heads

Global Manufacturing Technology Pty Ltd

GM042	BioBall - Revision Neck Adaptor	Titanium, varying tapers & lengths, for 	12/14 standard, 12/14 offset, 	$520.00	$3,328.00

ceramic & metal heads	14/16 standard.small to 5 XL ,

M to 5 XL, M to 5 XL for each

Prostheses List by Category, Groups and Sponsor	Page 431 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GM107	APEX Global Neck Adaptor	Titanium neck adaptor for variable tapers,	variable tapers	$520.00	$3,000.00

used in revision with ceramic head

Stryker Australia Pty Ltd

SK482	Stryker Neck Taper Adaptor	Adaptor Sleeve for Stryker stems	-5, -4, 0, +4, +5, +8 +10, +12, 	$520.00

+15, +16mm offset

Zimmer Pty Ltd

ZI567	Zimmer Hip System	VerSys Endo Adaptors	+7.0mm; +10.5mm; +14.0mm	$520.00

Group 30k - Nut

Global Orthopaedic Technology

GO019	UniSyn Hip Connecting Nut	Titanium, locking nut, supplied seperately	short & long	$204.00

Group 30l - Plate

Advanced Surgical Technologies

AD264	Procotyl-E T Plate	titanium alloy plates	One size only for left and right	$1,040.00

AD267	Procotyl-E hooks	titanium alloy hook	18mm, 23mm, 28mm	$811.00

Biomet Australia Pty Ltd

BI123	Mallory Head Hip System	Trochanter Plate, Titanium  	Sizes 40-70	$460.00

BI700	Par 5 Protrusio Acetabular System	Obturator Hook or Blade or Flange, Ti	Short, Medium or Long	$1,426.00

Corin Australia Pty Ltd

CR125	METS Trochanter plate	Titanium with plasma spray of titanium 	One size	$1,240.00

and HA

Link Orthopaedics  Australia

LO030	LINK Partial Pelvis Replacement	Hook for Obturator Foramen Width 	6-12mm	$678.00

LSS Surgical Pty Limited

LS111	Procotyl-E T Plate	titanium alloy plates	One size only for left and right	$1,040.00

LS114	Procotyl-E hooks	titanium alloy hook	18mm, 23mm, 28mm	$811.00

Group 30m - Plug

Advanced Surgical Technologies

AD131	WMT Perfecta Hip System	PMMA cement Plug	9 - 21mm in 1mm increments	$160.00

Prostheses List by Category, Groups and Sponsor	Page 432 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB277	Excia Hip System	Cement plug	8mm-18mm	$160.00

Biomet Australia Pty Ltd

BI130	Bio-Plug Cement Restrictor	Canal Plug, UHMWPE	"7-20mm"	$160.00

Corin Australia Pty Ltd

CR027	Freeman Canal occluder	Cement plug, UHMWPE	12,14,16mm diameter	$160.00

CR041	Hardinge Canal Occluder	Cement plug, UHMWPE	One size only	$160.00

Johnson & Johnson Medical Pty Ltd

DP998	DePuy Acetabular Apical Plugs	Titanium, apical hole plug for Duraloc, 	One size only	$160.00

Pinnacle & SROM Acetabular shells

LSS Surgical Pty Limited

LS042	WMT Perfecta Hip System	PMMA cement Plug	9 - 21mm in 1mm increments	$160.00

Medacta Australia Pty Ltd

MU017	Versafitcup Acetabular Apical Plug	Titanium Plug	.	$160.00

Zimmer Pty Ltd

ZI451	Allofit screw hole plugs	Sterile, 7 per set	One size only	$52.00

Group 30n - Plug & Hood

Lima Orthopaedics Australia Pty Ltd

LC006	Lima Plug and hood 	UHMWPE Cement Plug with distal 	8mm - 16mm	$290.00

femoral stem hood

Group 30o - Ring

Biomet Australia Pty Ltd

BI140	Mallory Head Hip System	Acetabular Shell, Ringloc.  Replacement 	Size 1	$171.00

Ring, Titanium alloy

Dj Orthopaedics Pty Ltd

DD045	FMP Acetabular System - Constrained 	28mm constrained liner locking ring, 	one size, to fit all 28mm ID 	$200.00

Liner Locking Ring	manufactured from titanium, is used with	constrained liners

the FMP constrained acetabular liners.

Johnson & Johnson Medical Pty Ltd

DP250	Duraloc Cup Locking System	Titanium locking Ring for Duraloc insert, 	Size 36-76mm	$171.00

seperately listed, only for revision

Prostheses List by Category, Groups and Sponsor	Page 433 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN701	Reflection	Constrained acetabular liner - adaptor ring	42 - 76mm	$171.00

Zimmer Pty Ltd

ZI473	APR Conversion Ring	Titanium ring	39 to 71	$924.00

Group 30p - Screw

Biomet Australia Pty Ltd

BI098	Kent Hip System	Transverse Screws, Titanium	4.5mm x (26-55mm)	$200.00	$480.00

Corin Australia Pty Ltd

CR033	Cormet Dysplasia Cup Screw	Dual threaded locking screw	Lengths 25 - 70mm	$200.00

Global Manufacturing Technology Pty Ltd

GM053	SMR Locking Screw	Locking Screw for Proximal Body to 	40 to 70mm	$200.00

Global Orthopaedic Technology

GO175	interface acetabular system	6.5mm cancellous bone screws	15mm to 70mm	$200.00	$225.00

Johnson & Johnson Medical Pty Ltd

DY020	SROM Trochanteric Washer Screw	Titanium, attaches washer to calcar 	42mm, 52mm, 62mm	$200.00

replacement stem

Link Orthopaedics  Australia

LO011	LINK Endo - Model Saddle Prosthesis	Saddle Set Screw for Base Component	One size only	$200.00

LO031	LINK Endo-Model Partial Pelvis 	Fixation Screws, for Obturator Foramen, 	20mm - 35mm; four (4) sizes	$200.00

Replacement	including screw lock

Group 30q - Screw - Bone

Advanced Surgical Technologies

AD120	Transcend/Lineage Articulation System	Bone screw titanium	6.5mm x 1.5 - 6cm in 0.5cm 	$140.00	$235.00

increments long

AD265	Procotyl-E screws	titanium alloy	Diameter 5.5mm, Length 15 - 	$140.00	$235.00

60mm

AD322	Quadra-Fix Acetabular Shell 	Quadra-Fix Double threaded, 6.5mm 	35mm - 80mm in 5mm 	$140.00	$380.00

Cancellous bone Screw

Austofix

AX050	Hyperion Captiv Bone Screw	Titanium, cancellous self tapping bone 	6mm, 20 to 45 mm lengths	$140.00

Prostheses List by Category, Groups and Sponsor	Page 434 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB238	Acetabular Fixation Screws	Isotan	16mm-68mm	$140.00	$235.00

Biomet Australia Pty Ltd

BI109	Mallory Head Hip System	Screw, Acetabular	(6.5 - 5.5)mm dia x (15 - 	$140.00	$235.00

70)mm length

BI702	Par 5 Protrusio Acetabular System	Screws - Titanium Metal	6.5mm	$140.00	$235.00

Corin Australia Pty Ltd

CR116	Extreme Hip System Femoral Shaft 	Titanium distal femoral locking screw	6.2mm diameter, 13 lengths in 	$140.00

Locking Screw	5mm increments

CR121	Horizon Acetabular Fixation Screw	Titanium countersunk cancellous screw	Diam 6.5mm, lenghts 16 - 55 mm	$140.00

Dj Orthopaedics Pty Ltd

DD025	FMP Acetabular Screws	Titanium, cancellous screws	25mm to 50mm	$140.00	$200.00

ESKA Australia

EK052	ESKA Acetabular Screw	Titanium, cancellous screw	15mm - 90mm	$140.00

Exactech Australia

EX006	Novation Crown Cup Screws	Titanium cortical bone screws	Full radius tip: 6.5mm x 15mm, 	$140.00

6.5mm x 20mm, 6.5mm x

25mm, 6.5mm x 30mm, 6.5mm

x 35mm, 6.5mm x 40mm,

6.5mm x 45mm, 6.5mm x

50mm, 6.5mm x 55mm, 6.5mm

x 60mm, 6.5mm x 70mm;

Peripheral Rim screw: 4.5mm x

25mm, 4.5mm x 30mm, 4.5mm

x 35mm, 4.5mm x 40mm,

4.5mm x 45mm, 4.5mm x

50mm, 4.5mm x 55mm, 4.5mm

x 60mm, 4.5mm x 65mm,

4.5mm x 70mm; Pointed tip:

MBA 6.5mm x 15mm, MBA

6.5mm x 20mm, MBA 6.5mm x

25mm, MBA 6.5mm x 30mm,

MBA 6.5mm x 35mm, MBA

6.5mm x 40mm, MBA 6.5mm x

45mm, MBA 6.5mm x 50mm,

MBA 6.5mm x 55mm, MBA

Finsbury Orthopaedics Australia Pty Ltd

FI047	Adler Bone Screw	Bone Screw for Acetabular Cup	6.5mm Diameter. 20-50mm	$140.00	$235.00

Prostheses List by Category, Groups and Sponsor	Page 435 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

FOL Technology PTY Ltd

FO010	Samo Acetabular Cup bone screw	Bone screw	20 - 40 mm	$140.00	$910.00

Global Manufacturing Technology Pty Ltd

GM058	Fin II Acetabular Screw	Titanium, '6.5mm Cancellous Bone 	15 - 80mm	$140.00	$235.00

GM059	SMR Distal Locking Screw	Titanium, '4.5mm Cortical Bone Screws	20 to 80mm	$140.00	$235.00

GM116	Global Acetabular Cancellous Screw	Titanium 6.5mm cancellous bone screw	20mm to 50mm	$140.00	$200.00

GM147	Cer-Met Acetabular Shell Bone Screws	6.5 mm cancellous bone screws	25mm to 60mm	$140.00	$235.00

Global Orthopaedic Technology

GO133	FMP Acetabular Screws	Titanium, cancellous screws	25mm to 50mm	$140.00	$200.00

GO147	Keramos Acetabular Screws	Titanium, cancellous screws	25mm to 50mm	$140.00	$200.00

Johnson & Johnson Medical Pty Ltd

DP944	DePuy Acetabular Bone Screws	Titanium, cancellous screws 	5.5 & 6.5mm Diameter length 	$140.00

15-80mm

JJ704	Gyros Hip System	Stainless steel screws for Gyros 	20 - 65mm	$140.00

acetabular cup with flanges

Lifehealthcare Pty Ltd

LH062	Groupe Lepine	Acetabular Screws	5.5mm dia in 15mm-60mm 	$140.00

length 5mm increments

Lima Orthopaedics Australia Pty Ltd

LC024	Lima Bone Screw	Titanium  Bone Screw	20 - 60mm	$140.00	$235.00

LSS Surgical Pty Limited

LS038	Transcend/Lineage Articulation System	Bone screw titanium	6.5mm x 1.5 - 6cm in 0.5cm 	$140.00	$235.00

increments long

LS112	Procotyl-E screws	titanium alloy	Diameter 5.5mm, Length 15 - 	$140.00	$235.00

60mm

LS136	Quadra-Fix Acetabular Shell 	Quadra-Fix Double threaded, 6.5mm 	35mm - 80mm in 5mm 	$140.00	$380.00

Cancellous bone Screw

Mathys Orthopaedics Pty Ltd

MA032	CCE Acetabular Reinforcing Ring 	Titanium, cancellous screws                   	varying lengths 	$140.00

MA420	SeleXys Acetabular Screws	Titanium, cancellous screws                   	varying lengths & diameters	$140.00

MA471	RM Acetabular Dowel Screws	Titanium, cancellous screws                   	varying lengths	$140.00

Prostheses List by Category, Groups and Sponsor	Page 436 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU014	Versafitcup Acetabular Screws	Titanium, cancellous screws	6.5 L 25-30-35-40-45mm	$140.00

Medartis

EO013	Atlas Acetabular Cup System	Screw	Atlas Screw Dia 6.5mm 15-	$140.00

Orthotech Pty Ltd

OH289	JRI CSF Hip System	CSF Bone Screws, Titanium Alloy	15mm - 50mm	$140.00	$240.00

Portland Orthopaedics (Aust) Pty Ltd

PD020	Equator Plus Acetabular Shell Screw	Bone Screw	6.5mm diameter, 15mm to 	$140.00

50mm lengths

Smith & Nephew Surgical Pty Ltd

SM041	Universal Cancellous Bone Screws	Cancellous bone screw titanium	15-60mm long 6.4mm dia	$140.00	$242.00

SM137	Polar Cup Acetabular Screws	Stainless Steel Cortical Screws 	4.5mm by 40-60mm	$140.00	$242.00

Stryker Australia Pty Ltd

HW011	ABG Hip System	Bone screw - Titanium, used with ABG11	12,15,20,25,30,35,40,45 and 	$140.00

Cups	50mm lengths

HW047	Exeter Hip System	X-Change Bone Screws -  Stainless Steel	3.5mm X 10, 15, 20, 25, 30, 	$140.00

ST545	Osteonics hip prostheses 	Cancellous bone screw, Titanium	6.5mm & 5.5mm dia	$137.00

Zimmer Pty Ltd

ZI036	Acetabular Cup	Trilogy Bone Screw - Titanium	15 - 60	$140.00	$245.00

R

Corin Australia Pty Ltd

CR126	METS Trochanter Screw	Titanium	Short, Medium, Long	$140.00

Group 30r - Sleeve

Biomet Australia Pty Ltd

BH037	Biolox Delta Option Taper	Taper Sleeve, Titanium	-6mm, -3mm, Std, +3mm and 	$260.00

+6mm

Prostheses List by Category, Groups and Sponsor	Page 437 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Dj Orthopaedics Pty Ltd

DD042	Foundation Unipolar System - CoCr 	Unipolar sleeves are used in conjunction 	-3.5mm,+0mm (neutral), 	$260.00

Unipolar Sleeves	with Unipolar CoCr Femoral Heads to 	+3.5mm, +7mm & +10mm

provide -3.5mm, +0mm, +3.5mm,

+7.0mm & +10mm neck length options

when used in conjunction with a femoral

hip component in hemi-arthroplasty

Exactech Australia

EX010	L-Series Taper Sleeve for Unipolar Head	The L-series unipolar is a modular 	taper sleeve: 12/14 -3.5mm, 	$260.00

endoprosthesis consisting of a truncated 	12/14 +0mm, 12/14 +3.5mm,

spherical head and interchangeable neck 	12/14 +7mm, 12/14 +10mm

sleeves.  The device is fully machined

from cobalt chrome conforming to

ASTM F1537-94.

Smith & Nephew Surgical Pty Ltd

SM166	Revision Delta Ceramic Femoral Head 	Biolox Option Sleeve	≤32mm	$260.00	To be used with Billing Code

Sleeve

SM168	Revision Delta Ceramic Femoral Head 	Biolox Option Sleeve	>32mm	$260.00	To be used with Billing Code

Sleeve

SN361	ITH	Trunnion Sleeve	One size only	$260.00

SN365	Matrix: Modular Hip System	Sleeve -Trunnion	One size only	$260.00

Stryker Australia Pty Ltd

ST821	Titanium Adapter Sleeve	For use with new ceramic heads	One size only	$260.00

Zimmer Pty Ltd

ZI474	Durom Hip Resurfacing System - 	Forged CoCr allo	A1 to L1	$520.00

Adaptor Sleeves

Sv

Medartis

EO048	Pharo	Intermediate Sleeve	-5 to +10 (six sizes)	$260.00

Group 30s - Spacer - Unique

Lima Orthopaedics Australia Pty Ltd

LC023	Lima Total Hip Replacement System	Spacer	S-M-L	$1,560.00	$1,750.00

Prostheses List by Category, Groups and Sponsor	Page 438 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI311	Spacer-G	Temporary implantable device for the 	Short Stems,  Head size 46mm, 	$2,025.00

treatment of infected total hip 	54mm, 60mm

replacement, Composition - stainless steel

core surrounded by PMMA impregnated

ZI312	Spacer-G	Temporary implantable device for the 	Long Stems, Head size 46mm, 	$2,530.00

treatment of infected total hip 	54mm, 60mm

replacement, Composition - stainless steel

core surrounded by PMMA impregnated

Group 30t - Spike - Acetabular

Smith & Nephew Surgical Pty Ltd

SM136	Polar Cup Acetabular Pegs	Stainless steel, morse tapered anchorage 	15mm	$87.00

Stryker Australia Pty Ltd

HW012	ABG Hip System	Spikes - Titanium, used with ABG11 	7mm, 8mm, 9mm lengths	$87.00

Group 30v - Trochanteric Replacement

Johnson & Johnson Medical Pty Ltd

DP001	Reef Femoral Wing 	Titanium grit blasted with HA 	Sizes 1-3	$1,000.00

trochanteric replacement/augment

Medartis

EO045	MRP-TITAN Stem	Trochanteric replacement 	Small and Large	$1,000.00

Group 30w - Washer

Johnson & Johnson Medical Pty Ltd

DP986	SROM Trochanteric Washer	Titanium, fixation with separate screw 	40 x 31, 60 x 45, 70 x 54	$577.00

(DY020) to calcar replacing SROM

Femoral Stem

Group 30x - Wire

Corin Australia Pty Ltd

CR127	METS Trochanter Reattachment Wire	CoCr	0.6m	$80.00

Prostheses List by Category, Groups and Sponsor	Page 439 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP224	Charnley & Wroblewski Trochanteric 	Stainless steel wire for trochanteric 	0.5-3.00mm	$250.00

Spring Wire

Group 30y - Pin

Johnson & Johnson Medical Pty Ltd

DP976	SROM Acetabular Insert Locking Pin	Titanium pin provided seperately from 	3.5mm - 5.0mm	$161.00

Group 30z - Other

ESKA Australia

EK054	Nail TiNb	Nail TiNb	3 x 30, 40, 50mm length	$600.00

EK055	Profi Peg Nail TiNb	Peg TiNb	6 x 30, 40, 50mm length	$600.00

Lifehealthcare Pty Ltd

LH309	HemiCAP Contoured Articular 	Fixation Component - Titanium	Fixation component for 	$800.00	$900.00	Used with Billing code TB308

Resurfacing Hip System	25mm,30mm, 35mm Artuclar

Components

Medacta Australia Pty Ltd

MU015	Versafitcup Attachable Proximal Flange	Stainless Steel attachable flange/lug with 	4.5 L 35-40-45-50-55mm	$500.00

screw

MU016	Versafitcup Attachable Obturator Hook	Stainless Steel Obturator Hook	.	$500.00

Smith & Nephew Surgical Pty Ltd

SN292	Reflection	Fixation peg Titanium Alloy	One size only	$181.00

Stryker Australia Pty Ltd

HW194	Howmedica Modular Resection System	Femoral Joint -  Vitallium	One size only	$3,572.00

Zimmer Pty Ltd

ZI024	Zimmer 'VerSys CRC Hip Systems 	 Modular Calcar Block	One size only	$572.00

Knee - Accessories

Group 13a - Augments- Distal and posterior femoral, tibial, blocks and wedges

Advanced Surgical Design & Manufacture Ltd

AE071	Active Knee Posterior  Block 	Posterior Femoral Block	1 - 5, 4 - 8mm	$1,283.00

AE072	Active Knee  Femoral Distal Spacer	Femoral Distal Block	1 - 5, 4 - 8mm	$1,283.00

Prostheses List by Category, Groups and Sponsor	Page 440 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AE073	Active Knee Femoral Augments 	Combined Distal and Posterior Block,  	1-5,  4 - 8mm	$1,283.00

AE074	Active Knee Revision System - Tibial 	Half Block Wedge	1-5, 5 - 10 Deg	$1,283.00

Half Block Spacer

AE076	Active Knee Tibial Full Block Wedge 	Tibial full block of full wedge, CoCr	1-5,  5 - 10 Deg	$1,283.00

AE077	Active Knee Half Block Wedge	Half Block or Half Wedge, CoCr	1-5,  5 - 10 Deg	$1,283.00

Advanced Surgical Technologies

AD142	Advance Revision Knee System 	Femoral Augments titanium, separate 	1 - 5, 5mm thick, 10mm thick, 	$675.00

distal and posterior with screw 	posterior and distal

AD146	Advance Revision Knee System tibial 	Tibial augments, wedges and blocks, 	15 degree, sizes 1, 2/1+, 3/2+, 	$895.00

augments	screw attachment 	4/3+, 5/4+, 6/5+, Blocks 5mm,

10mm, 15mm

AD217	Advance Total Knee System Augments 	Offset tibial block augments, screw 	1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 	$1,283.00

fixation for use with offset stemmed tibial	5mm, 10mm, 15mm

B Braun Australia Pty Ltd

BB320	Emotion Total Knee System Tibial and 	Medial/Lateral Tibial, Distal Femoral and 	4mm to 12mm	$1,283.00	$1,300.00

Femoral Augments	Postero-Distal Augments

Biomet Australia Pty Ltd

BI183	Maxim Complete Knee System Femoral 	Tibial and femoral half wedges and half 	55-80mm	$1,283.00	$1,339.00

and Tibial Augments 	blocks, Titanium

BI952	Vanguard Total Knee System	Femoral Augments, anatomic, distal or 	5-15mm x 55-80mm	$1,283.00	$1,370.00

posterior, Ti alloy

Corin Australia Pty Ltd

CR004	Rotaglide + Total Knee System Tibial 	Tibial augments, half blocks, CoCr, 	Small 4mm - Large12mm	$550.00

Augments 	cement fixation

CR112	Score Knee System Tibial and Femoral 	Tibial and Femoral half blocks, CoCr, 	31 sizes	$1,283.00

Augments 	screw fixation used for femoral blocks,

tibial blocks cemented

Exactech Australia

EX025	Optetrak Total Knee System Tibial 	Tibial Augments for CCK femoral 	Size 1 - 6	$815.00	$1,500.00

Augments	component, half and third blocks,

titanium, screw fixation

EX026	Optetrak Total Knee System Femoral 	Femoral Augments for CCK femoral 	Size 1-6	$1,283.00	$1,900.00

Augments 	component, distal and posterior blocks,

titanium, screw fixation

Prostheses List by Category, Groups and Sponsor	Page 441 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO116	RBK Total Knee System Tibial 	Tibial hemi blocks and wedges, CoCr, 	4mm and 10mm thick	$1,283.00	$3,000.00

Titanium

GO118	RBK Total Knee System Femoral 	Distal and posterior femoral blocks, 	4mm and 10mm thick	$1,283.00	$1,600.00

Johnson & Johnson Medical Pty Ltd

DP158	PFC Sigma Knee System femoral  	Distal and posterior femoral augments, 	Sizes  1 - 6.  4-16mm	$1,283.00

CoCr , with screws

DP161	PFC Sigma Knee System tibial augments 	Tibial wedges (full and hemi) and  hemi 	Size 1-6	$1,283.00

blocks, CoCr, with screw

DP269	SROM Noiles Knee System femoral 	Distal or posterior and combined distal 	Sizes xxsmall - xlarge.  5-10mm	$1,283.00

augments 	and posterior femoral augments

DY153	LCS Complete Knee System Augments 	Femoral distal and posterior augments, 	Sizes small to large+.  5-15mm	$1,283.00

CoCr, with screws

DY159	MBT Knee System tibial augments 	Tibial blocks, with screws, CoCr 	Sizes 1-7. 5-15mm	$1,283.00

LSS Surgical Pty Limited

LS048	Advance Revision Knee System 	Femoral Augments titanium, separate 	1 - 5, 5mm thick, 10mm thick, 	$675.00

distal and posterior with screw 	posterior and distal

LS052	Advance Revision Knee System tibial 	Tibial augments, wedges and blocks, 	15 degree, sizes 1, 2/1+, 3/2+, 	$895.00

augments	screw attachment 	4/3+, 5/4+, 6/5+, Blocks 5mm,

10mm, 15mm

LS080	Advance Total Knee System Augments 	Offset tibial block augments, screw 	1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 	$1,283.00

fixation for use with offset stemmed tibial	5mm, 10mm, 15mm

Orthotech Pty Ltd

OH026	Optetrak Total Knee System Tibial 	Tibial Augments for CCK femoral 	Size 1 - 6	$815.00	$1,500.00

Augments	component, half and third blocks,

titanium, screw fixation

OH029	Optetrak Total Knee System Femoral 	Femoral Augments for CCK femoral 	Size 1-6	$1,283.00	$1,900.00

Augments 	component, distal and posterior blocks,

titanium, screw fixation

Smith & Nephew Surgical Pty Ltd

SM078	TC (Tri Compartment) PLUS Knee 	Tibial Augment Half blocks, CoCr, 	5mm, 10mm, 15mm	$1,283.00

System Tibial Augment	includes screws for fixation

SM088	RT (Rotating Hinge) PLUS Knee System	Femoral Augment Distal and posterior 	5-15mm	$1,283.00

Femoral Augment	blocks, CoCr, includes screws for

Prostheses List by Category, Groups and Sponsor	Page 442 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SM089	RT (Rotating Hinge) PLUS Knee System	Tibial Augment Half blocks, CoCr, 	5-10mm	$1,283.00

Tibial Augment	includes screws for fixation

SM098	TC (Tri Compartment) PLUS Knee 	Femoral Augment Distal and posterior 	5mm, 10mm, 15mm	$1,283.00

System Femoral Augment	blocks, CoCr, includes screws for

SN330	Genesis II Knee System Tibial and 	Tibial Augments, half blocks and half 	1-8	$1,283.00

Femoral Augments	wedges, (CoCr) and Femoral Augments,

distal and posterior or distal and posterior

combined

SN381	Profix Knee System Tibial and Femoral 	Tibial Augments, Half wedges and half 	1-7. Small - Large 	$675.00

Augment	blocks, uncemented beaded includes

screws for fixation, Titanium.  Femoral

Augments, Posterior, Distal and Posterior

and distal combined, uncemented

beaded, includes screws for fixation,

SN384	Profix Knee System Tibial and Femoral 	Tibial Augments, Half wedges and half 	1-7	$925.00

Augment	blocks, cement fixation, Titanium.

Femoral Augments, Posterior, Distal and

Posterior and distal combined, includes

screws for fixation, Titanium

SN821	Legion Knee System Femoral Augement	Femoral Augment, posterior, distal and 	5-15mm	$1,283.00

combined posterior and distal, Titanium,

includes screws for fixation

SN822	Legion Knee System Tibial Augement	Tibial Augments, half blocks and half 	5-15mm	$1,283.00

wedges, full blocks and full wedges,

Titanium includes screws for fixation

Stryker Australia Pty Ltd

HW099	Duracon Knee System Tibial Augments 	Tibial Augments Full wedge (angled) & 	Left & right, full & angled, 5mm	$1,283.00

Full block (flat), CoCr (Vitallium), 	 & 10mm

HW153	Kinemax Knee System & Modular 	Distal & posterior femoral blocks & 	Kinemax: Full, Distal & 	$925.00

Rotating Hinge Distal & Posterior 	spacers, CoCr (Vitallium), cemented	Posterior Augments: xs-xl; 5mm

Femoral Augments & Spacers	 /10mm         MRH Distal

Femoral Augments xs-xl; 5mm /

HW168	Kinemax Knee System Full Tibial 	Full Tibial Block, CoCr (Vitallium), 	xs-xl, 10mm thickness	$815.00

HW169	Kinemax Knee System Hemi Tibial 	Half block, CoCr (Vitallium), cemented	 LM/RL & LL/RM xs-xl in 5 & 	$515.00

Augment	10mm thickness

SK441	Triathlon Knee System Femoral 	Femoral blocks distal & posterior, CoCr, 	Left & Right 5mm size 1-8	$1,283.00	$1,600.00

mechanical attachment	10mm size 1-815mm size 1-8

Prostheses List by Category, Groups and Sponsor	Page 443 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SR036	Triathlon Knee System Hemi Augments	Half (hemi) tibial blocks, CoCr, 	LM/RL & LL/RM, 1 to 8, 5mm 	$1,283.00

mechanical attachment 	and 10mm

ST018	Scorpio Knee System Femoral & Tibial 	Femoral & tibial blocks distal, posterior 	5mm & 10mm for all sizes of 	$1,282.00

Augment	and full, CoCr, cemented	femur and tibia. 5 degrees for all

tibia sizes

ST604	Duracon Knee System Tibial Augments 	Tibial Augments Half (hemi) wedge 	LM/RL & LL/RM in 5mm, 	$1,283.00

(angled) & Half (hemi) block (flat), CoCr 	10mm thicknesses

(Vitallium), cemented

ST658	Series 7000 Knee System Femoral & 	Series 7000, femoral & tibial blocks, 	3, 5, 7, 9, 11, 13 in 4mm, 8mm,	$740.00

Tibial Augments	CoCr, cemented	 10 degree and 20 degree

Tornier Pty Ltd

TO022	HLS Noetos Revision Knee augments 	Distal and Posterior Femoral and tibial 	1 to 6 Thickness 4, 8 and 12	$1,283.00

Wedges and blocks, CoCr

TO027	HLS Noetos  Revision Tibial Spacers 	Tibial Spacer (including 2 screws) CoCr	1 to 6 thickness 4, 8 and 12mm	$1,283.00

Zimmer Pty Ltd

ZI067	Insall-Burstein II Femoral and Tibial 	Femoral posterior, distal and combined 	5, 10mm	$1,283.00	$1,337.00

augments 	blocks, tibial hemi blocks and wedges

ZI075	Insall-Burstein II Wedge	Full - Ti	7 - 20mm	$1,283.00	$1,758.00

ZI140	NexGen Tibial Augments	Tibial Augments, wedges, hemi and one 	1 - 10	$1,283.00	$1,582.00

third and tibial blocks hemi, titanium

ZI141	NexGen Tibial Augment	Tibial Augment, Full Wedge, Titanium	1 - 10	$1,283.00	$1,582.00

ZI142	NexGen Knee Tibial Augments	One Third Wedge - Ti	1 - 10	$1,283.00	$1,582.00

ZI143	NexGen Knee Tibial Augments	NexGen Tibial Blocks - half and full, 	1 - 10	$1,283.00	$1,582.00

Titanium

ZI144	NexGen  Femoral Augments	Femoral blocks, posterior, distal and 	A - H	$1,283.00	$1,337.00

anterior, titanium

ZI145	NexGen  Femoral Augments	Femoral blocks, combined posterior distal	A - H	$1,283.00	$1,337.00

block

ZI404	Natural Knee Tibial Augments 	Tibial hemi blocks, titanium, lug fixation 	4 to 8mm  Size 00 to 5	$1,283.00

ZI422	Natural Knee	Femoral Spacer Lug - Ti alloy	4 to 12mm	$302.00	$1,283.00

ZI425	Natural Knee Femoral Augments	Femoral blocks combined distal and 	Size 0 to 4	$1,283.00	$2,230.00

posterior, titanium

ZI504	Natural Knee	Revision - Femoral Spacers Non Porous -	Size 0 to 4	$1,283.00	$1,665.00

metal alloy

Prostheses List by Category, Groups and Sponsor	Page 444 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

S or C

Zimmer Pty Ltd

ZI607	Natural Knee II Modular Cemented 	Modular Cemented Tibial Augments - 	Sizes 00.0, 1,2,3,4 x 4mm; 	$1,283.00

Tibial Baseplate Augments	Medial & Lateral	00,0,1,2,3,4 x 8mm - Medial &

Lateral

S, C without screw

Smith & Nephew Surgical Pty Ltd

SM153	Legion Hinge Femoral Wedge	A distal femoral Wedge for use with the 	Size 2 to 7 5,10,15,20mm	$1,283.00

Legion Hinge system.

Group 13b - Stems - Straight or offset

Advanced Surgical Design & Manufacture Ltd

AE075	Active Knee Stems	Tibial and femoral stems for revision, 	11 - 13 Dia, 60 - 100mm	$1,258.00	$1,600.00

varying lengths, Titanium

AE078	Active Knee Stem	Tibial stem for morse tapered tibial 	1-5,  A & B	$1,258.00	$1,700.00

Advanced Surgical Technologies

AD144	Advance Revision Knee System stems	Uncemented stems, femoral and tibial 	11 - 22mm in 1mm increments, 	$1,580.00	$2,000.00

100 & 140mm lengths

AD148	Advance Revision Knee System stems	Cemented stems, femoral and tibial	10, 12,14, 16, 18 x 65mm, 15 x 	$1,258.00	$1,560.00

30mm

AD172	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium 	3" Length in Small-Xlarge	$615.00

CoCr short stem. This stem is required

for primary prosthesis.

AD173	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium 	6" Length in Small-Xlarge	$555.00

CoCr long stem. This stem is required for

primary prosthesis.

AD187	Advantim / Ortholoc Revision Knee	Tibial Revision Smooth/Finned Titanium	6" Length in varying diameters 	$1,258.00

AD195	Advantim / Ortholoc Revision Knee	Femoral stems titanium	5 Degree Size 4 10mm	$1,258.00

5 Degree Size 6 10mm

7 Degree Size 4 10mm

7 Degree Size 6 10mm

B Braun Australia Pty Ltd

BB200	Emotion Total Knee System (TKS) 	Tibial and femoral stems, CoCr, 	Short, D: 10mm to 16mm , 	$1,258.00

Tibial and Femoral Stems	cemented or uncemented	Medium, D: 10mm to 16mm,

Long, D: 10mm to 16mm

Prostheses List by Category, Groups and Sponsor	Page 445 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BB242	Columbus Total Knee System (TKS) 	Tibial Stem, cemented or uncemented, 	12mm & 14mm,  in 	$1,258.00

Tibial Stem	uncemented, 12mm & 14mm in

Biomet Australia Pty Ltd

BI171	Maxim Complete Knee System Femoral 	Femoral and Tibial Stems, Titanium, 	40mm 80mm	$1,040.00	$1,090.00

and Tibial Stems 	curved and straight, cemented

BI184	Biomet Universal Tibial and femoral 	Tibial and Femoral Stems, Titanium, 	55-80mm	$1,040.00	$1,964.00

curved and straight, cemented

BI978	Regenerex Tibial Tray	Stem, PressFit, Ti Alloy	40, 80mm	$1,258.00	$1,970.00

Corin Australia Pty Ltd

CR003	Rotaglide + Total Knee System Femoral 	Femoral and Tibial Stems, CoCr, cemented	30mm - 70mm	$870.00

and Tibial Stems

CR104	Score Knee System Femoral and Tibial 	Femoral and Tibial Stems, Titanium, 	4 diameters, 3 lengths	$1,258.00

Stems	cemented

Endotec Australia Pty Ltd

EA023	Buechel-Pappas Ultracoat Total Knee 	Femoral and Tibial stems, titanium, TiNi 	BP TKR Revision stems 9mm -	$1,258.00	$1,550.00

Replacement System Femoral and Tibial	surface treatment, uncemented	20mm (inc)

Stems

Exactech Australia

EX027	Optetrak Total Knee System Femoral 	Femoral and Tibial Stems for Optetrak 	Size 1 - 6	$1,580.00	$3,500.00

and Tibial Stems 	Knee System, titanium, cemented or

uncemented, femoral stem requires stem

extension adapter on every occasion,

tibial stem requires screw fixation

Global Orthopaedic Technology

GO114	RBK Total Knee System Stems 	Tibial and Femoral Stems, cemented, 	10mm to 24mm thick x 80mm 	$1,258.00	$2,189.00

Titanium including locking bolt	to 170mm long

Johnson & Johnson Medical Pty Ltd

DP143	PFC Sigma Knee System tibial stems 	PFC Sigma Knee; Tibiak Stems cemented	Sizes 30-150mm	$1,580.00

and fluted uncemented, titanium and

cemented, fluted stem

DP153	PFC Sigma Knee System femoral stems 	Femoral stems cemented and fluted 	5-7degree, 125-175mm 	$1,580.00

uncemented, titanium with variable

angulation

DP272	SROM Noiles Knee System stems	Femoral and tibial stems, uncemented, 	Sizes 100-150mm	$1,580.00

fluted and slotted including attachment

Prostheses List by Category, Groups and Sponsor	Page 446 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ655	PFC Knee System - Universal Slotted 	Tibial/Femoral Stem-Titanium	Lengths 75, 115, 150mm; 	$1,580.00

widths 10 to 24mm

LSS Surgical Pty Limited

LS050	Advance Revision Knee System stems	Uncemented stems, femoral and tibial 	11 - 22mm in 1mm increments, 	$1,580.00	$2,000.00

100 & 140mm lengths

LS054	Advance Revision Knee System stems	Cemented stems, femoral and tibial	10, 12,14, 16, 18 x 65mm, 15 x 	$1,258.00	$1,560.00

30mm

LS060	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium 	3" Length in Small-Xlarge	$615.00

CoCr short stem. This stem is required

for primary prosthesis.

LS061	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium 	6" Length in Small-Xlarge	$555.00

CoCr long stem. This stem is required for

primary prosthesis.

LS068	Advantim / Ortholoc Revision Knee	Tibial Revision Smooth/Finned Titanium	6" Length in varying diameters 	$1,258.00

LS074	Advantim / Ortholoc Revision Knee	Femoral stems titanium	5 Degree Size 4 10mm5 	$1,258.00

Degree Size 6 10mm7 Degree

Size 4 10mm7 Degree Size 6

Medacta Australia Pty Ltd

MU035	Evolis Knee System Tibial Stem 	Tibial stems, titanium, cemented	30/60mm length (12mm 	$1,258.00

MU069	GMK Tibial Extension Stem	Tibial Baseplate extension stem	diameter 11mm, length 65mm	$1,258.00

Orthotech Pty Ltd

OH027	Optetrak Total Knee System Femoral 	Femoral and Tibial Stems for Optetrak 	Size 1 - 6	$1,580.00	$3,500.00

and Tibial Stems 	Knee System, titanium, cemented or

uncemented, femoral stem requires stem

extension adapter on every occasion,

tibial stem requires screw fixation

Smith & Nephew Surgical Pty Ltd

SM077	RT (Rotating Hinge) PLUS Knee System	Femoral and Tibial Stems, Titanium, 	95 -120	$1,580.00

Femoral and Tibial Stems	uncemented

SM079	TC (Tri Compartment) PLUS Knee 	Femoral and Tibial Stems, Cemented, 	80-150	$1,258.00

System Femoral and Tibial Stems

SM080	TC (Tri Compartment) PLUS Knee 	Femoral and Tibial Stems, uncemented, 	10/80 - 20/150	$1,580.00

System Femoral and Tibial Stems	Titanium

SM081	TC (Tri Compartment) PLUS Knee 	Femoral and Tibial Stems, uncemented, 	10/80 - 20/150	$1,580.00

System Femoral and Tibial Stems	Titanium, Varus or Valgus angulation

correction

Prostheses List by Category, Groups and Sponsor	Page 447 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SM084	RT (Rotating Hinge) PLUS Knee System	Femoral and Tibial Stems, CoCr, 	95-160	$1,258.00

Femoral and Tibial Stems

SM086	RT (Rotating Hinge) PLUS Knee System	Femoral and Tibial Stems, Titanium, 	95 - 160	$1,580.00

Femoral and Tibial Stems	uncemented

SM087	RT (Rotating Hinge) PLUS Knee System	Femoral and Tibial Stems, Titanium, 	200	$1,580.00

Femoral and Tibial Stems	uncemented (longer stems)

SN316	Genesis II Knee System Tibial and 	Tibial and Femoral Stems, titanium, 	10-24x100mm, 10-20 x 150mm 	$1,258.00

Femoral Stems	cemented or press fit 	10-16x 200mm

SN319	Genesis II 	Metaphyseal Stem	1-8	$644.00

SN347	Genesis	I/M Peg: Femoral and Tibial: Titanium	10-16mm Diameter x  40-	$250.00

200mm Length

SN376	Profix Knee System Femoral and Tibial 	Femoral and Tibial stems, Titanium, 	10-20mm x 100mm. 10-	$1,258.00

Stems	Cemented or press fit,	20x150mm 10-20 x 200mm

SN377	Profix	Metaphyseal Tibial Stem	14-20mm	$670.00

SN715	Genesis II Knee System Femoral and 	Tibial and Femoral Stems, Titanium, 	18 - 24mm x 200mm	$1,258.00

Tibial Stems	cemented or press fit (larger diameter

range for 200mm length)

SN823	Legion Knee System Femoral and Tibial 	Femoral and Tibial stems, Titanium, 	120-220mm	$1,258.00

Stems	Cemented or press fit

Stryker Australia Pty Ltd

HW098	Duracon Knee System Stems	TS (Total Stabilizer) Stems, CoCr 	40mm, 80mm, 155mm lengths	$1,580.00

(Vitallium), uncemented

HW171	Duracon Knee System / Kinemax Knee 	Stem, femoral & tbial, CoCr, (Vitallium), 	40mm, 80mm, 155mm for each 	$800.00

System stem	cemented

SK434	Triathlon Knee System TS Titanium 	Stem, Titanium, uncemented	10-25 (100mm) 10-25 (150mm)	$1,580.00

SR035	Triathlon Knee System TS stem	Tibial stem, Titanium, cemented	9x50mm, 9x100mm, 9x150mm,	$1,258.00	$1,600.00

12x50mm, 12x100mm,

12x150mm, 15x50mm,

15x100mm, 15x150mm

SR037	Triathlon Knee System Femoral Distal 	Modular Femoral Distal Fixation Peg 	one size	$475.00

Fixation Peg

ST606	Duracon Knee System Tibial & Femoral	Stem, femoral & tibial, titanium, 	10mm-19mm, 21mm, 23mm in 	$1,258.00	$1,466.00

stem	80mm and 155mm lengths

Tornier Pty Ltd

TO028	HLS Noetos Revision Stems	Femoral and Tibial extension stems CoCr	1 to 6 Length 75 and 150mm	$1,258.00

Prostheses List by Category, Groups and Sponsor	Page 448 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI072	Insall-Burstein II Femoral and Tibial 	Tibial and Femoral Stems, cemented, 	10 - 24mm	$1,040.00	$1,100.00

ZI095	Miller Galante II long femoral and tibial 	Femoral and Tibial straight and offset, 	12 - 18mm	$1,040.00

stems 	titanium, cemented, long

ZI096	Miller Galante II standard femoral and 	Femoral and Tibial straight and offset, 	12 - 18mm	$548.00

tibial stems 	titanium, cemented, standard

ZI146	NexGen Femoral and Tibial Stems 	Femoral and Tibial Stems, straight and 	Length - 35 - 155mm, 	$1,258.00	$1,337.00

offset, cemented 	Diameters - 10 - 24 mm

ZI417	Natural Knee Tibial Stem 	Tibial Stem, Titanium, cemented 	60 to 215mm	$1,258.00	$1,735.00

including locking bolt

ZI424	Natural Knee Femoral Stems 	Femoral Stem, Titanium, cemented 	10.5mm/125mm to 	$1,258.00	$3,185.00

including locking bolt

Group 13c - Offset couplers / adaptors

Biomet Australia Pty Ltd

BI956	Offset Tibial Tray System 	Offset Adapter for connection to tibial 	0mm, 2.5mm, 5mm Offset	$1,350.00

stems and baseplate, titanium

Corin Australia Pty Ltd

CR111	Score Knee System Offset Connector	Connector for stems to alter stem offset 	2mm, 4mm, 6mm	$1,350.00

morse taper but also including screw for

additional fixation, titanium

Johnson & Johnson Medical Pty Ltd

JJ654	PFC Sigma - Femoral Adaptor	Offset Adaptor	5 and 7 degree	$1,350.00

Smith & Nephew Surgical Pty Ltd

SN885	Genesis II Knee System Offset Couplers	Offset Coupler, titanium	2-4	$1,350.00

SN886	Profix Knee System Offset Couplers	Offset Coupler, titanium	2-4	$1,350.00

Stryker Australia Pty Ltd

SK435	Triathlon Knee System Tibial / Femoral 	Tibial & femral offset adaptor, CoCr	2,4,6,8mm	$1,350.00	$2,000.00

Offset Adaptor

ST603	Duracon Knee System Tibial / Femoral 	Tibial / Femoral Offset Adaptor, CoCr, 	2mm, 4mm, 6mm, 8mm	$1,350.00

Offset Adaptor 	(Vitallium)

Prostheses List by Category, Groups and Sponsor	Page 449 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 13d - Stem extender, sleeve and other couplings

Advanced Surgical Technologies

AD250	Guardian Limb Salvage System	Male-Male Mid-Section extender 	40, 50, 60, 70, 90, 110, 140mm	$3,671.00

B Braun Australia Pty Ltd

BB319	Emotion Total Knee System Femoral 	Revision nut for Femur Extension Stem	One size only	$780.00	$800.00

Stem Extension

Exactech Australia

EX029	Opetrak Total Knee System Femoral 	Femoral Stem Extension Adapter that 	One size only	$780.00	$900.00

Stem Extension Adpater 	provides for set changes in angulation of

stem needs to be used on every occasion

LSS Surgical Pty Limited

LS101	Guardian Limb Salvage System	Male-Male Mid-Section extender 	40, 50, 60, 70, 90, 110, 140mm	$3,671.00

Orthotech Pty Ltd

OH057	Opetrak Total Knee System Femoral 	Femoral Stem Extension Adapter that 	One size only	$780.00	$900.00

Stem Extension Adpater 	provides for set changes in angulation of

stem needs to be used on every occasion

Stryker Australia Pty Ltd

HW233	KRH (Kinemax Knee System Rotating 	KRH & MRH Rotating Hinge Tibial 	One size only	$780.00

Hinge) & MRH (Modular Rotating 	Sleeve, UHMWPE, (Duration) houses

Hinge) Rotating Hinge Sleeve	Rotating Hinge Tibial Rotating component

sHydroxyapatiteft

SK442	Triathlon Knee System Stem Extender	Stem extender, cemented, CoCr 	25mm & 50mm	$780.00	$1,068.00

Tornier Pty Ltd

TO024	HLS Noetos Revision Stem Extender, 	Stem Adaptor (Femoral Sledge) CoCr	5, 7 and 9 degrees	$1,400.00

Sleeve and other Couplings

TO025	HLS Hoetos Revision Knee	Sleeve stem adaptor (flange piece) CoCr	5, 7 and 9 degrees, right and left	$1,400.00

Met

Johnson & Johnson Medical Pty Ltd

DP261	SROM Noiles Knee System tibial sleeves	Tibial metaphyseal sleeve, porous coated, 	37-61mm	$2,700.00

for proximal bone replacement

DP271	SROM Noiles Knee System femoral 	Femoral metaphyseal sleeve, porous 	Size 31-46mm	$2,700.00

coated, for distal bone replacement

Prostheses List by Category, Groups and Sponsor	Page 450 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY156	LCS, PFC and SROM  Knee Systems, 	Universal femoral metaphyseal sleeve, 	20 - 46mm	$2,700.00

femoral metaphyseal sleeve	Porocoat, smaller size cemented, larger

sizes uncemented, titanium

DY157	MBT  Knee Systems tibial metaphyseal 	Universal tibial metaphyseal sleeve, 	29 - 61mm	$2,700.00

sleeve	Porocoat, smaller size cemented or

uncemented, larger sizes uncemented,

JJ706	LCS, PFC & SROM Knee System - 	Universal Fully Beaded (Porocoat) 	31-46mm	$2,700.00	$3,150.00

Universal Fully Porous Femoral 	Femoral Metaphyseal Titanium Sleeve

Metaphyseal Sleeve

Zimmer Pty Ltd

ZI485	Trabecular Metal Tibial Cone	Trabecular Metal Tibial void filling cone 	$2,700.00	$4,168.00

for proximal metaphyseal bone

surrounding stem, full or stepped

Group 13e - Conversion module

Smith & Nephew Surgical Pty Ltd

SN314	Genesis II Knee System Femoral 	Femoral Conversion Module, for Genesis 	Left/Right size 1-8	$1,185.00

Conversion Module	II CR or PS femoral component, includes

screws for fixation

Stryker Australia Pty Ltd

HW085	Duracon Knee System Modular 	Modular Stabilizer Box, CoCr (Vitallium)	Small, Medium, Medium-Large, 	$625.00

Stabilizer Box	Large, Extra-Large

Group 13f - Connectors for hinged prostheses

Advanced Surgical Technologies

AD246	Guardian Limb Salvage System	Quick Snap Axial Pin, CoCr, Titanium	1, 2, 3, 4	$2,267.00

Global Orthopaedic Technology

GO119	RBK Total Knee System Rotating hinge 	Rotating Hinge Bushing Mechansim	Complete mechanism	$2,300.00	$4,540.00

bushing mechanism

Johnson & Johnson Medical Pty Ltd

JJ705	LPS & SROM Systems - Hinge Pin	Rotating Hinge Axle - uncemented, CoCr	xxsmall - medium	$820.00

LSS Surgical Pty Limited

LS098	Guardian Limb Salvage System	Quick Snap Axial Pin, CoCr, Titanium	1, 2, 3, 4	$2,267.00

Prostheses List by Category, Groups and Sponsor	Page 451 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM154	Legion Hinge Sleeve and Bolt	Is used to secure the Legion Hinge 	Sizes 2-7	$2,300.00

femoral component to the hinge

mechanism attached to the baseplate.

SN901	Legion Hinge Axle	Is used to secure the Legion Hinge 	Sizes 2-7	$728.00

femoral component to baseplate.

Stryker Australia Pty Ltd

HW201	HMRS (Howmedica Modular 	HMRS Fixed Hinged Knee Axle Pin, 	One size only	$572.00

Replacement System) Fixed Hinged 	CrCo, (Vitallium), uncemented, Fixed

HW231	GMRS (Global Modular Replacement 	GMRS & MRH Tibial Rotating Hinge 	GMRS-small  MRH/crossover   	$3,453.00

System) & MRH (Modular Rotating 	component (not baseplate) separated 	                   MRH - xs-xl  & l-xl

Hinge) Tibial Rotating Component	from femoral component by bumper and

rotates on top of tibial insert , Fixed

Zimmer Pty Ltd

ZI309	Nexgen Rotating Hinge Replacement 	Rotating hinge replacement which 	B-F	$2,300.00	$4,920.00

includes metal rotating hinge plus

Polyethylene bushing and fixation pin

Group 13g - Temporary Spacers

Zimmer Pty Ltd

ZI313	Spacer-K	Temporary implantable device for the 	Small, Medium, Large	$2,079.00

treatment of infected total knee

replacement, Composition - stainless steel

core surrounded by PMMA impregnated

Group 13z - Others

Advanced Surgical Design & Manufacture Ltd

AE042	Active Knee - Tibial bone screws 	Bone Screw Titanium TiN coated - 	20mm - 50mm	$140.00

Advanced Surgical Technologies

AD149	Advance Revision Knee System	Optional bone screw for tibial component	6.5mm x 1.5 - 6cm in 0.5cm 	$140.00	$266.00

increments long

AD176	Advantim Total Knee System	Cortical Bone Screws, to fix femoral 	4.5mm x 2.0 - 7.5cm in 0.5cm 	$140.00	$225.00

component to bone, Titanium optional	increments long

Prostheses List by Category, Groups and Sponsor	Page 452 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB210	Columbus Total Knee System (TKS) 	Tibial Stem (cap), cemented or 	Small & Large D: 12mm & D: 	$725.00	$1,258.00

Tibial Stems	uncemented, short (mini) (obturator 	14mm

stem) CoCr, usually required when stem

BB241	Emotion Total Knee System (TKS) 	Tibial Stem (cap), cemented or 	12mm, 14mm & 16mm in 	$725.00	$1,258.00

Tibial Stem	uncemented, short (mini) (obturator 	cemented and uncemented

stem) CoCr, usually required when stem

Biomet Australia Pty Ltd

BI173	Maxim Complete Knee System Tibial 	Insert locking pin, Titanium	One size only	$125.00

Locking Bar

Endotec Australia Pty Ltd

EA024	Buechel-Pappas Ultracoat Total Knee 	Screws used for augmentation of bone 	BP Rebar screws 15mm-50mm 	$140.00	$200.00

Replacement System Rebar Screws 	defects and reinforcement of PMMA,

TiNi surface treatment

Exactech Australia

EX030	Optetrak Total Knee System Tibial Stem	Tibial Stem Screw for Tibial stem fixation 	One size only	$140.00	$900.00

Extension Screw

Global Orthopaedic Technology

GO120	RBK Total Knee System	Screw, Ti	5mm to 5.7mm x 5mm to 	$140.00	$285.00

17.5mm long

GO158	RBK Universal Knee System Insert Bolt 	Insert bolt for RBK universal pegged and 	10mm - 20mm	$305.00

non pegged inserts

GO190	APEX Knee Reconstruction System, 	Tibial Insert Locking Bolt	One size	$305.00

Locking Bolt.

GO192	APEX Knee Reconstruction System, 	6.5mm Bone Screw	20mm, 25mm, 30mm, 35mm, 	$140.00	$160.00

Bone Screw	40mm, 45mm, 50mm, 55mm,

60mm, 65mm & 70mm.

Johnson & Johnson Medical Pty Ltd

DP155	PFC Sigma Knee System femoral stem 	Bolts to connect femoral stem, straight 	Neutral +/- 2mm	$305.00

and offset

DP255	SROM Noiles Knee System bumper and	Replacements for UHMWPE axis 	Sizes xsmall - medium.  	$125.00

hinge bearing replacements 	bearings and bumpers, for hinged

DP267	SROM Noiles Knee System femoral 	Cap and bolt for end of femoral 	One size only	$130.00

metaphyseal sleeve cap 	metaphyseal sleeve if stem not used

DP384	AMK primary locking pin and clip	Normally supplied with insert, this covers	One size only	$125.00

separate provision

Prostheses List by Category, Groups and Sponsor	Page 453 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY460	SROM Noiles Knee System tibial 	Cap and bolt for end of tibial metaphyseal	One size only	$130.00

metaphyseal sleeve cap 	 sleeve if stem not used

JJ659	LCS Complete Knee System APG arm	APG arm for use with APG mobile tibial 	Sizes small to large+	$146.00

insert only

Lifehealthcare Pty Ltd

LH305	HemiCAP Contoured Articular Knee 	Proximal Morse taper, fully cannulated, 	Component for 15mm & 20mm 	$700.00	$900.00	Used with Billing Code TB304

System Fixation component 	tapered, threaded fixation component - 	Articular Components Screw

Titanium with titanium plasma spray	9.5mm Dia x 20mm; 11mm x

LH406	HemiCAP Patello-Femoral Resurfacing 	A titanium-alloy fixation stud	8.5mm x 17.0mm	$700.00

System - Fixation Stud

LSS Surgical Pty Limited

LS055	Advance Revision Knee System	Optional bone screw for tibial component	6.5mm x 1.5 - 6cm in 0.5cm 	$140.00	$266.00

increments long

LS063	Advantim Total Knee System	Cortical Bone Screws, to fix femoral 	4.5mm x 2.0 - 7.5cm in 0.5cm 	$140.00	$225.00

component to bone, Titanium optional	increments long

Medacta Australia Pty Ltd

MU036	Evolis Knee System Fixation Screw 	Tibial screw for baseplate fixation to 	20/25/30/35/40/45mm (6.5mm 	$140.00	$160.00

bone, titanium, optional 	diameter)

Orthotech Pty Ltd

OH056	Optetrak Total Knee System Tibial Stem	Tibial Stem Screw for Tibial stem fixation 	One size only	$140.00	$900.00

Extension Screw

Smith & Nephew Surgical Pty Ltd

SM091	RT (Rotating Hinge) PLUS Knee System	Insert clip and screws for stem fixation, 	0-10	$140.00

Clip and Screw	packed together as emergency kit

SN318	Genesis II 	Lug	One size only	$204.00

SN329	Genesis II 	Tibial screws 	15-50mm	$135.00

SN367	Mobile Bearing Knee System Insert 	Insert Locking Screw, used to lock AP 	One size only	$140.00

Locking Screw	translation of Mobile insert

SN393	Profix Knee System Tibial Screws	Tibial Screws, Titanium for fixation of 	15-50mm	$140.00

baseplate to bone (optional)

Stryker Australia Pty Ltd

HW084	Duracon Knee System Augment 	Augment Locking Screw, CoCr (Vitallium)	5mm, 10mm	$140.00

Locking Screw

Prostheses List by Category, Groups and Sponsor	Page 454 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HW097	Duracon Knee System Tibial Baseplate 	Tibial baseplate screw, CoCr (Vitallium)	6.2mm diameter in 15mm, 	$140.00

Screw	20mm, 25mm, 30mm, 35mm,

40mm, 50mm, 55mm, 60mm

HW167	Kinemax Knee System Tibial Fixation Peg	Tibial Fixation Peg, CoCr (Vitallium), 	20mm	$125.00

HW192	HMRS (Howmedica Modular 	HMRS Hex Head Cortical Bone Screw, 	16-30mm in 2mm increments 	$37.00

Replacement System) Hex Head Cortical	Self Tapping, CoCr (Vitallium) for 	and 35-70mm in 5m increments

Bone Screw, Self Tapping	prosthesis fixation

HW195	HMRS (Howmedica Modular 	HMRS Plug Screw Axis, UHMWPE, 	One size only	$218.00

Replacement System) Plug screw Axis	(Duration) for fixation of HMRS Axis

within HMRS bearing component of

HMRS Distal Femur / Proximal Tibia and

HMRS Femoral / Tibial Joint.

HW208	HMRS (Howmedica Modular 	HMRS Hexagonal Socket Bolt - CoCr 	One size only	$415.00

Replacement System) Hexagonal Socket	(Vitallium) for HMRS Connecting piece

assembly (2)

Zimmer Pty Ltd

ZI079	Miller Galante I	Bone Screw - Ti	20 - 60mm	$135.00

ZI089	Miller Galante II	Bone Screw - Ti	20 - 80mm	$177.00

ZI406	Natural Knee Tibial Augment Fixation 	Tibial Augment Fixation peg and screws  	One size only	$140.00	$266.00

ZI426	Natural Knee Stem Locking Bolt 	Femoral Stem Locking Bolt (additional 	One size only	$305.00	$315.00

separate listing)

ZI427	Natural Knee Posterior Stabiliser Bar 	Posterior Stabiliser Bar including fixation 	One size only	$140.00	$315.00

screws

Met

Zimmer Pty Ltd

ZI516	Trabecular Metal Femoral Cone 	Trabecular Metal femoral void filling cone	Small, Medium, Large	$2,700.00	$9,825.00

for distal metaphyseal bone surrounding

Knee - Femoral Component Total Arthroplasty

Group 1a - Cemented, Alloy, Minimally Stabilised

Advanced Surgical Design & Manufacture Ltd

AE039	Active Knee Femoral Component 	Femoral Component, Cemented, CoCr 	Sizes 00 - 5 Left & Right	$3,300.00

Prostheses List by Category, Groups and Sponsor	Page 455 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Advanced Surgical Technologies

AD141	Advance Total Knee System	Cemented, grit blasted, minimally 	0, 1, 2, 3, 4, 5, 6	$3,300.00	$3,432.00

stabilised, femoral component

AD169	Advantim Total Knee System	Cemented femoral component, CoCr	Small, Medium, Large, Xlarge	$3,300.00

B Braun Australia Pty Ltd

BB205	Columbus Total Knee System (TKS) 	Femoral component, cemented, CoCr	F1 - F7, Left and Right	$3,300.00

Femoral Component

Biomet Australia Pty Ltd

BI147	AGC System femoral component 	Femoral Component, cemented, CoCr, 	55-80mm	$3,300.00	$3,683.00

left and right sided (anatomic)

BI168	Maxim Complete Knee System Femoral 	Femoral Component,   Cemented, CoCr 	55-80mm	$3,300.00	$3,680.00

Component

BI898	Vanguard Total Knee System	Femoral Component, CR, Cemented, 	55, 57.5, 60, 62.5, 65, 67.5, 70,	$3,300.00	$3,680.00

anatomic, CoCr.	 75, 80 Left and Right

BI902	ROCC Femoral Compoent 	Femoral Component, cemented, posterior	1-8	$3,300.00	$3,550.00

stabilised, CoCr

Corin Australia Pty Ltd

CR105	Score Knee System Femoral Component	Femoral component, Cemented, CoCr, 	7 sizes	$3,300.00

with extended patellar groove

ESKA Australia

EK032	RP (Rotating Platform) femoral 	Femoral component, cemented, CoCr	s-small, small, medium, large, x-	$3,300.00

large

Exactech Australia

EX031	Optetrak Total Knee System Femoral 	Femoral Component, cemented, CoCr	Size 1 -  6	$3,300.00	$3,750.00

Component

Finsbury Orthopaedics Australia Pty Ltd

FI025	DBK (Dual Bearing Knee) Total Knee 	Femoral Component, Cemented, CoCr 	Sizes 1-6, Left and Right	$3,300.00	$4,100.00

System Femoral Component

FI028	MRK (Medial Rotation Knee) Total Knee	Femoral Component, Cemented, CoCr	0-5 Left and Right	$3,300.00

System Femoral Component

FI052	Saiph Knee System Femoral Component	CoCr Polished Cemented Femoral 	1 - 8 Left & Right	$3,300.00

Cemented

FOL Technology PTY Ltd

FO018	Trekking Knee System - Femoral 	Femoral component cemented	1 - 5	$3,300.00

Component

Prostheses List by Category, Groups and Sponsor	Page 456 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO006	RBK Total Knee System Femoral 	Femoral Component, CoCr, cemented	0 - 5	$3,300.00

Component

GO196	Apex Knee Reconstruction System, CR 	CR Cemented Femoral Component, Non-	Size 1 Left & Right, size2 Left 	$3,300.00

Cemented Femoral Component, Left & 	Porous, Size 1 to 6	& Right, size 3 Left & Right,

Right , Size 1 to 6	size 4 left & Right, size 5 Left &

Right, size 6 Left & Right

Johnson & Johnson Medical Pty Ltd

DP004	LCS Complete Knee System femoral 	Femoral cemented, CoCr	Sizes small to large+	$3,800.00

component

DY471	PFC Sigma Knee System femoral 	Femoral component, cemented, CoCr	Size 1-6 including narrow sizes	$3,300.00

component

Link Orthopaedics  Australia

LO037	Link Gemini Femoral Component 	Femoral component, cemented, CoCr, 	Extra Small - Extra Large	$3,300.00

microporous

LSS Surgical Pty Limited

LS047	Advance Total Knee System	Cemented, grit blasted, minimally 	0, 1, 2, 3, 4, 5, 6	$3,300.00	$3,432.00

stabilised, femoral component

LS057	Advantim Total Knee System	Cemented femoral component, CoCr	Small, Medium, Large, Xlarge	$3,300.00

Mathys Orthopaedics Pty Ltd

MA108	Balansys Femoral Component	Femoral component, cemented, CoCr	A, B, C, D, E Left & Right	$3,300.00	$3,500.00

MA490	Balansys Knee System / Femoral 	Balansys Femoral Component/ CR 	60 - 76, left and right	$3,300.00	$4,000.00

Component, CR, cemented, TiNbN 	cemented, TiNbN coated

Medacta Australia Pty Ltd

MU026	Evolis Knee System Femoral 	Femoral component, cemented, CoCr 	1- 6, left and right	$3,300.00

MU043	Cinétique Knee System Femoral 	Femoral component, cemented, CoCr 	Sizes 1 to 6, Left and Right	$3,300.00

Component

MU063	GMK cemented standard femur	cemented standard femoral component	sizes 1to 6, left to right	$3,300.00

Orthotech Pty Ltd

OH020	Optetrak Total Knee System Femoral 	Femoral Component, cemented, CoCr	Size 1 -  6	$3,300.00	$3,750.00

Component

Smith & Nephew Surgical Pty Ltd

SM064	VKS (Vario) Knee System Femoral 	Femoral Component, CoCr, cemented	1-12	$3,300.00

Component

Prostheses List by Category, Groups and Sponsor	Page 457 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN321	Genesis II Knee System Femoral 	Femoral Component, cemented, CoCr	Left/Right Size 1-8	$3,300.00

Stryker Australia Pty Ltd

HW076	Duracon Knee System Femoral 	Minimally stabilised, cemented, CoCr 	Small, Medium, Medium-Large, 	$3,300.00	$3,400.00

(Vitallium)	Large, Extra-Large

HW147	Kinemax Knee System Femoral 	Minimally stabilised, cemented, CoCr 	XS, S, M, L, XL, XXL	$3,300.00

(Vitallium)

HW396	Duracon Knee System Femoral 	Minimally stabilised, cemented, CoCr 	Small, Medium, Medium-Large, 	$3,300.00	$3,400.00

(Vitallium), with removable lugs, and 	Large, Extra-Large

capacity to attach femoral box

SK324	Triathlon Knee System Femoral 	Minimally stabilised, cemented, CoCr	Sizes 1 to 8	$3,300.00	$3,640.00

SK332	Scorpio NRG Knee System Femoral 	Minimally stabilised, cemented, CoCr	Sizes 3,4,5,6,7,9,11,13	$3,300.00	$3,640.00

Component

SR063	Scorpio Knee System Femoral 	Minimally stabilised, cemented, CoCr 	3 Left, 3 Right, 5 Left, 5 Right, 	$3,300.00	$3,640.00

with TiNi surface treatment (LFIT - Low	7 Left, 7 Right, 9 Left, 9 Right,

friction ion treatment)	11 Left, 11 Right, 13 Left, 13

ST634	Scorpio Knee System Femoral 	Minimally stabilised, cemented, CoCr	3, 5, 7, 9, 11, 13	$3,300.00	$3,400.00

Zimmer Pty Ltd

ZI420	Natural Knee Femoral Component 	Femoral Component,  Cemented, CoCr 	Size 00 to 5	$3,300.00	$3,640.00

ZI559	Natural Knee II Flex Femur	Femoral Component, cemented, CoCr, 	Sizes 1 to 5 GSM Left and Right	$3,300.00	$4,460.00

High Flex 	 and Sizes 0 to 4 GSF Left and

CS

Johnson & Johnson Medical Pty Ltd

DY374	LCS Complete Knee System femoral 	Femoral component, cemented, Titanium 	Sizes small to large+	$3,450.00

component 	with TiN surface treatment

Medacta Australia Pty Ltd

MU027	Evolis Knee System Femoral 	Femoral Component, cemented, CoCr, 	1 - 6, left and right	$3,450.00	$3,700.00

with TiNi (TiNibN) surface coating

MU044	Cinétique Knee System Femoral 	Femoral Component, cemented, CoCr, 	Sizes 1 to 6, Left and Right	$3,450.00	$4,300.00

Component 	with TiNi (TiNibN) surface coating

CS, Rev

Endotec Australia Pty Ltd

EA014	Buechel-Pappas Ultracoat Total Knee 	Femoral Component, Titanium, 	 1-6(inc) Left & Right	$3,450.00	$4,650.00

Replacement System Femoral 	cemented, TiNi articular and bone surface

Prostheses List by Category, Groups and Sponsor	Page 458 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Rev

Advanced Surgical Technologies

AD219	Advance Total Knee System	Stemmed condular medial pivot 	1, 2, 3, 4, 5  All in Left & Right	$6,050.00

component, cemented, grit blasted,

minimally stabilised, femoral component,

CoCr, usually used with a anterior lipped

Johnson & Johnson Medical Pty Ltd

DY368	LCS Complete Knee System femoral 	Femoral component, cemented, CoCr	Sizes small to large+	$6,050.00

component

LSS Surgical Pty Limited

LS082	Advance Total Knee System	Stemmed condular medial pivot 	1, 2, 3, 4, 5  All in Left & Right	$6,050.00

component, cemented, grit blasted,

minimally stabilised, femoral component,

CoCr, usually used with a anterior lipped

Smith & Nephew Surgical Pty Ltd

SM085	TC (Tri Compartment) PLUS Knee 	Femoral Component, CoCr, cemented	2 - 10	$6,050.00

System Femoral Component

Group 1b - Cemented, Alloy, Posterior Stabilised

B Braun Australia Pty Ltd

BB196	Emotion Total Knee System (TKS) 	Femoral Component, cemented, CoCr, 	F1 - F8, Left and Right	$3,400.00

Femoral Component 	Posterior stabilised

BB206	Columbus Total Knee System (TKS) 	Femoral component, cemented, CoCr, 	F1 - F7, Left and Right	$3,400.00

Femoral Component 	posterior stabilised

Biomet Australia Pty Ltd

BI150	AGC System femoral component 	Femoral Component, cemented, CoCr, 	55 to 80mm	$3,400.00

left and right sided (anatomic), posterior

stabilised

BI158	AGC System femoral component 	Femoral Component, cemented, CoCr, 	55-80mm	$3,400.00

unsided (universal), posterior stabilised

BI178	Maxim Complete Knee System Femoral 	Femoral Component, Cemented, CoCr,  	55-80mm	$3,400.00	$3,550.00

Component 	Posterior Stabilised

BI195	Vanguard Rotating Platform Femoral 	Femoral Component, Cemented, CoCr, 	60-75mm	$3,400.00	$3,557.00

Component	Posterior Stabilised

Prostheses List by Category, Groups and Sponsor	Page 459 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI897	Vanguard Total Knee System	Femoral Component, Posterior Stabilised,	55, 57.5, 60, 62.5, 65, 67.5, 70,	$3,400.00

Cemented, anatomic, CoCr.	 75, 80 Left and Right

Exactech Australia

EX033	Optetrak Total Knee System Femoral 	Femoral Component, cemented, CoCr, 	Size 1 -  6	$3,400.00	$4,264.00

Component 	posterior stabilised

EX034	Optetrak Hi Flex Femoral Component 	Femoral Component, Cemented, CoCr, 	1-6	$3,400.00	$3,850.00

High Flex (Hi Flex), posterior stabilised

Johnson & Johnson Medical Pty Ltd

DP149	PFC Sigma Knee System femoral 	 Femoral component, cemented, CoCr, 	Size 1-6 including narrow sizes	$3,400.00

component	posterior stabilised

DY371	LCS Complete System femoral 	Femoral Component, cemented, CoCr, 	Sizes small to large+	$3,400.00

posterior stabilised

DY404	PFC Sigma Knee System RPF femoral 	Femoral component, cemented, CoCr, 	Size 1-6 including narrow sizes	$3,400.00

component  	high flex, posterior stabilised

Mathys Orthopaedics Pty Ltd

MA487	BalanSys Femoral Component 	Femoral component, cemented, CoCr, 	A, B, C, D, E Left & Right	$3,400.00	$3,800.00

posterior stabilised

MA493	Balansys Knee System / Femoral 	Balansys Femoral Component/PS 	60-76, left and right	$3,400.00	$4,300.00

Component, PS, cemented, TiNbN 	cemented, TiNbN coated, CoCrMo, TiNbN

Medacta Australia Pty Ltd

MU028	Evolis Knee System Femoral 	Femoral Component, cemented, CoCr, 	1 - 6, left and right	$3,400.00

posterior stabilised

MU029	Evolis Knee System Femoral 	Femoral Component, cemented, CoCr, 	1 - 6, left and right	$3,400.00	$3,700.00

posterior stabilised with TiNi (TiNibN)

surface coating

MU064	GMK posterior stabilised cemented 	cemented posterior stabilised femoral 	sizes 1 to 6, left to right	$3,400.00

component

Orthotech Pty Ltd

OH212	Optetrak Total Knee System Femoral 	Femoral Component, cemented, CoCr, 	Size 1 -  6	$3,400.00	$4,264.00

Component 	posterior stabilised

OH233	Optetrak Hi Flex Femoral Component 	Femoral Component, Cemented, CoCr, 	1-6	$3,400.00	$3,850.00

High Flex (Hi Flex), posterior stabilised

Smith & Nephew Surgical Pty Ltd

SN847	Journey Knee System Femoral 	Femoral Component, Cemented, CoCr, 	Sizes 1-10, Left and Right	$3,400.00

posterior stabilised

Prostheses List by Category, Groups and Sponsor	Page 460 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN871	Genesis II Knee System Femoral 	Femoral component, cemented posterior 	Left / Right 1-8	$3,400.00

stabilised, CoCr

SN872	Profix Knee System Femoral 	Femoral component, cemented posterior 	Left / Right 1-8	$3,400.00

stabilised, CoCr

Stryker Australia Pty Ltd

HW080	Duracon Knee System Femoral 	Posterior stabilised, cemented, CoCr 	Small, Medium, Medium-Large, 	$3,400.00

(Vitallium)	Large, Extra-Large

SR003	Scorpio NRG Knee System Femoral 	Posterior stabilised, cemented, CoCr	Sizes 3,4,5,6,7,9,11,13	$3,400.00	$3,640.00

Component

SR009	Triathlon Knee System Femoral 	Posterior stabilised, cemented, CoCr, 	Sizes 1 to 8	$3,400.00	$3,640.00

with ability to add lugs or augments

SR019	Scorpio Knee System  Femoral 	Posterior stabilised, cemented, CoCr 	3, 5, 7, 9, 11, 13	$3,400.00

ST984	Scorpio Knee System  Femoral 	Posterior stabilised, cemented, CoCr with	3 Left, 3 Right, 5 Left, 5 Right, 	$3,400.00	$3,640.00

TiNi surface treatment (LFIT - Low 	7 Left, 7 Right, 9 Left, 9 Right,

Friction Ion Treatment)	11 Left, 11 Right, 13 Left, 13

Tornier Pty Ltd

TO008	HLS Noetos Femoral Component	Femoral Component, cemented,  CoCr, 	1 - 6 CoCr	$3,400.00

posterior stabilised using midline condyle

Zimmer Pty Ltd

ZI421	Natural Knee Femoral Component 	Femoral Component,  Cemented, 	Size 00 to 5	$3,400.00	$3,640.00

posterior stabilised, CoCr

ZI589	NexGen LPS Flex GSF Femoral 	Cobalt Chrome, High Flex, cemented, 	Sizes GSF C to G, Left to Right	$3,400.00	$4,860.00

Components - Option	posterior stabilised

Rev

Corin Australia Pty Ltd

CR109	Score Knee System Femoral Component	Femoral Component, CoCr, cemented, 	4 sizes in left and right	$6,150.00

Posterior Stabilised

Global Orthopaedic Technology

GO113	RBK Total Knee System Femoral 	Femoral Component, cemented, CoCr, 	Size 0 to 5	$6,150.00

Component 	posterior stabilised

Johnson & Johnson Medical Pty Ltd

DP268	SROM Noiles Posterior Stabilised 	Posterior stabilised, CoCr, cemented, 	Sizes xxsmall-large	$6,150.00

Revision femoral component	femoral component

Prostheses List by Category, Groups and Sponsor	Page 461 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM141	TC (Tri Compartment) PLUS Knee 	Femoral Component, CoCr, Cemented 	2-10mm	$6,150.00

System Femoral Component	posterior stabilised

Tornier Pty Ltd

TO021	HLS Noetos Revision Femoral 	Femoral Component, cemented,  CoCr, 	1 to 6 right and left	$6,150.00

posterior stabilised using midline condyle

Zimmer Pty Ltd

ZI119	NexGen LCCK (Legacy Constrained 	Femoral component, posterior stabilised, 	A - H (L&R)	$6,150.00	$7,585.00

Condylar Knee)  Femoral Component	CoCr

ZI423	Natural Knee Femoral Component 	Femoral component, cemented, CoCr, 	Size 00 to 4 (left & right), 	$6,150.00	$7,585.00

possterior stabilised

Group 1c - Cemented, Alloy, Totally Constrained

Biomet Australia Pty Ltd

BI180	Maxim Complete Knee System Femoral 	Femoral Component, Cemented, CoCr,  	60-75mm	$3,500.00	$6,240.00

Component 	totally constrained

BI933	Vanguard SSK Knee System	Femoral Component, CoCr, Ti	55 to 80mm	$3,500.00	$6,240.00

Exactech Australia

EX035	Optetrak Total Knee System CCK and 	Femoral Component, cemented, CoCr, 	Size 1 - 6(CCK), Size 1-5(NMC)	$3,500.00	$6,240.00

NMC (constrained Condylar and Non-	totally stabilised

Modular Constrained Knee) Femoral

component

Orthotech Pty Ltd

OH024	Optetrak Total Knee System CCK 	Femoral Component, cemented, CoCr, 	Size 1 - 6	$3,500.00	$6,240.00

(Constrained Condylar Knee) Femoral 	totally stabilised

Component

Smith & Nephew Surgical Pty Ltd

SN660	Profix Knee System Femoral 	Femoral Component, CoCr, Cemented, 	Left & Right, 2-7	$3,500.00

totally constrained

SN814	Genesis II Knee System Femoral 	Femoral Component, totally Constrained, 	Left & Right size 1-8	$3,500.00

CoCr, Cemented

SN865	Genesis II Knee System Femoral 	Femoral component, cemented, totally 	Left / Right 1 - 8	$3,500.00

stabilised, CoCr

SN866	Profix Knee System Femoral 	Femoral component, cemented, totally 	Left / Right 1 - 8	$3,500.00

stabilised, CoCr

Prostheses List by Category, Groups and Sponsor	Page 462 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

HW149	Kinemax Knee System Stabilizer 	Totally constrained, cemented, CoCr 	XS, S, M, L, XL, XXL	$3,500.00

Femoral Component	(Vitallium)

H

Johnson & Johnson Medical Pty Ltd

DP254	SROM Noiles Knee System femoral 	Rotating Hinge, cemented, CoCr, SROM 	Sizes xxsmall-large	$6,750.00

component 	& LPS knee systems, with Hinge Pin

Smith & Nephew Surgical Pty Ltd

SM082	'RT (Rotating Hinge) PLUS Knee 	Femoral Component, CoCr, Cemented, 	0-10	$6,750.00

System Femoral Component

Zimmer Pty Ltd

ZI305	Nexgen Rotating Hinged Knee Femoral 	Femoral Component, with a fixed rotating	B-F	$6,750.00	$10,500.00

Component	 hinge on UHMWPE bearings, cemented,

CoCr

Rev

Advanced Surgical Technologies

AD143	Advance Revision Knee System	Cemented, grit blasted, totally 	1, 2, 3, 4, 5	$6,250.00

constrained, femoral component, CoCr

Johnson & Johnson Medical Pty Ltd

DP150	PFC Sigma Knee System TC3 femoral 	Femoral component, cemented, CoCr, 	Size 1-6	$6,250.00

component	totally constrained

DY148	LCS Complete Knee System femoral 	Femoral component, cemented, CoCr, 	Sizes small to large+	$6,250.00

component 	totally constrained

LSS Surgical Pty Limited

LS049	Advance Revision Knee System	Cemented, grit blasted, totally 	1, 2, 3, 4, 5	$6,250.00

constrained, femoral component, CoCr

Smith & Nephew Surgical Pty Ltd

SN851	Legion Knee System Femoral 	Femoral Component, CoCr, Cemented, 	Sizes 1-10, Left and Right	$6,250.00

totally constrained

Stryker Australia Pty Ltd

SK440	Triathlon TS Knee System Femoral 	Totally constrained, cemented, CoCr	Left & Right Size 1-8	$6,250.00

Component

SR060	Scorpio Knee System Femoral 	Totally constrained, CoCr with TiNi 	3 Left, 3 Right, 5 Left, 5 Right, 	$6,250.00	$7,280.00

surface treatment (LFIT - Low Friction 	7 Left, 7 Right, 9 Left, 9 Right,

11 Left, 11 Right, 13 Left, 13

Prostheses List by Category, Groups and Sponsor	Page 463 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST602	Duracon TS Knee System Femoral 	Totally constrained, cemented, CoCr 	Extra Small, Small, Medium, 	$6,250.00

Component	(Vitallium)	Medium Large, Large, Extra

Rev, H

Global Orthopaedic Technology

GO169	RBK Total Knee System Femoral 	Femoral Component, cemented, CoCr, 	Size 0 to 5	$6,750.00

Component 	totally constrained

Smith & Nephew Surgical Pty Ltd

SM158	Legion Hinge Femur CoCr	The femoral component of the Legion 	Size 2 to 7	$6,750.00

Hinge system.

Stryker Australia Pty Ltd

HW143	MRH (Modular Rotating Hinge) 	MRH Rotating Hinge Femoral component,	Left, Right	$6,750.00

(Modular Rotating Hinge) Femoral 	 CoCr (Vitallium), cemented, w/attachable

stem, Fixed

Group 1d - Cemented, Alloy, PMMA coating, Minimally Stabilised

Zimmer Pty Ltd

ZI111	NexGen Knee Femoral Component	Femoral Component, cemented with 	A - H (L&R)	$3,900.00	$4,680.00

PMMA, CoCr

ZI590	NexGen CR Flex Femoral Components -	Cobalt Chrome, High Flex, Precoat 	Sizes A to G, Left to Right, GSF	$3,400.00	$4,860.00

Precoat	cemented, Cruciate retaining	 C to G Left to Right

Rev

Zimmer Pty Ltd

ZI113	NexGen Knee Femoral Component	Femoral Component, cemented with 	A - H (L&R)	$6,150.00	$7,860.00

PMMA, CoCr

Group 1e - Cemented, Alloy, PMMA coating, Posterior Stabilised

Zimmer Pty Ltd

ZI117	NexGen  Femoral Component	Femoral Component, posterior stabilised, 	A - H (L&R)	$4,000.00	$4,680.00

PMMA coating, cemented, CoCr

ZI588	NexGen LPS Flex Femoral Component -	Cobalt Chrome, High Flex, cemented, 	Sizes A to G, Left to Right	$3,500.00	$4,860.00

PreCoat	PMMA coating, posterior stabilised

Prostheses List by Category, Groups and Sponsor	Page 464 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1g - Cemented, Non-Alloy, Minimally Stabilised

Endotec Australia Pty Ltd

EA007	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and 	BP TKR Cemented Primary 	$4,300.00

Replacement System (Primary and 	Tibial components with mobile 	Femoral sizes 1-6(inc) Left &

Polyethelene inserts, all polyethelene

patella ceramic coated, titanium backed

CS

Smith & Nephew Surgical Pty Ltd

SN879	Genesis II Knee System Femoral 	Femoral component, Oxinium, cemented	Left / Right 1-9	$4,200.00	$4,992.00

SN880	Profix Knee System Femoral 	Femoral component, Oxinium, cemented	Left / Right 1-9	$4,200.00	$4,500.00

Group 1h - Cemented, Non-Alloy, Posterior Stabilised

CS

Smith & Nephew Surgical Pty Ltd

SN779	Journey Knee System Femoral 	Femoral Component, cemented, Oxinium,	1-10	$4,300.00	$5,189.00

posterior stabilised (bicruciate substitute)

SN883	Genesis II Knee System Femoral 	Femoral Component, cemented, posterior	1-9	$4,300.00	$5,189.00

stabilised, Oxinium

SN884	Profix Knee System Femoral 	Femoral Component, cemented, posterior	1-8	$4,300.00	$4,600.00

stabilised, Oxinium

Group 1i - Cemented, Non-Alloy, Totally Constrained

Rev

Smith & Nephew Surgical Pty Ltd

SN736	Legion Knee System Femoral 	Femoral Component, Oxinium, 	Size 1 - 9	$7,500.00	$8,320.00

Cemented, totally constrained

Rev, H

Advanced Surgical Technologies

AD253	Guardian Limb Salvage System	Resurfacing Femur with extensive distal 	2, 3, 4, Left & Right	$7,540.00

femoral buildup

LSS Surgical Pty Limited

LS104	Guardian Limb Salvage System	Resurfacing Femur with extensive distal 	2, 3, 4, Left & Right	$7,540.00

femoral buildup

Prostheses List by Category, Groups and Sponsor	Page 465 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1j - Uncemented, Alloy, Minimally Stabilised

Advanced Surgical Technologies

AD168	Advantim Total Knee System	Beaded Femoral Component, CoCr 	Small, Medium, Large, Xlarge	$3,500.00

AD300	Advance Total Knee System	Uncemented, beaded, non HA, CoCr, 	1, 2, 3, 4, 5, 6	$3,700.00

usually used with a anterior lipped insert

B Braun Australia Pty Ltd

BB234	Columbus Total Knee System (TKS) 	Femoral Component, uncemented, CoCr, 	F1 - F7, Left and Right	$3,700.00

Femoral Component 	Titanium plasma spray (Plasmapore)

Biomet Australia Pty Ltd

BI159	AGC System femoral component 	Femoral Component, uncemented, CoCr 	55-80mm	$3,700.00	$4,010.00

with titanium plasma sprayed surface

(Porous plasma spray PPS) left and right

sided (anatomic),

BI167	Maxim Complete Knee System Femoral 	Femoral Component,   uncemented, CoCr	55-80mm	$3,700.00	$4,010.00

Component 	 with titanium plasma sprayed surface

(Porous plasma spray PPS)

BI886	Vanguard Total Knee System	Femoral Component, CR, uncemented, 	55, 57.5, 60, 62.5, 65, 67.5, 70,	$3,700.00	$4,130.00

anatomic, CoCr, Ti	 75, 80 Left and Right

Endotec Australia Pty Ltd

EA006	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and 	BP TKR Ultracoat Primary 	$5,300.00

Replacement System (Primary and 	Tibial components with mobile 	Femoral sizes 1-6(inc) Left &

Polyethylene inserts, all polyethylene

patella ceramic coated, titanium backed

ESKA Australia

EK033	RP (Rotating Platform) femoral 	Femoral component, uncemented, 	s-small, small, medium, large, x-	$3,700.00

Spongiousa metal, titanium and CoCr	large

Global Orthopaedic Technology

GO195	Apex Knee Reconstruction System, CR 	CR Femoral Component Porous Coated 	Size 1 Left & Right, size 2 left 	$3,700.00

Femoral Component Porous Coated	Size 1 to 6 left & Right.	& Right, size 3 Left & Right,

size 4 Left & Right, size 5 left &

Right, size 6 Left & Right

Johnson & Johnson Medical Pty Ltd

DP003	LCS Complete Knee System femoral 	Femoral component, uncemented, CoCr, 	Sizes small to large+	$4,200.00

component 	beaded (Porocoat)

Prostheses List by Category, Groups and Sponsor	Page 466 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP148	PFC Sigma Knee System femoral 	Femoral component, uncemented, CoCr, 	Size 1-6	$3,700.00

component	Beaded

JJ606	PFC Sigma Knee System femoral 	Femoral component, uncemented, CoCr, 	Size 1-6	$3,700.00

component	beaded (Porocoat)

LSS Surgical Pty Limited

LS056	Advantim Total Knee System	Beaded Femoral Component, CoCr 	Small, Medium, Large, Xlarge	$3,500.00

LS128	Advance Total Knee System	Uncemented, beaded, non HA, CoCr, 	1, 2, 3, 4, 5, 6	$3,700.00

usually used with a anterior lipped insert

Mathys Orthopaedics Pty Ltd

MA457	Balansys Femoral Component	Femoral component, uncemented, 	A, B, C, D, E Left & Right	$3,700.00

beaded, CoCr

Medacta Australia Pty Ltd

MU038	Evolis Knee System Femoral 	Femoral component, uncemented, CoCr, 	1 - 6, left to right	$3,700.00

titanium plasma spray

Smith & Nephew Surgical Pty Ltd

SM052	VKS (Vario) Knee System Femoral 	Femoral Component, CoCr, uncemented, 	1-6	$3,700.00

Component	Titanium Plasma Spray (Vacuum spray

and triple layer)

SN326	'Genesis II Knee System Femoral 	Femoral Component, CoCr, uncemented, 	Left/Right Size 1-8	$3,700.00

Component	beaded

SN375	Profix Knee System Femoral 	Femoral Component, CoCr, uncemented, 	Left/Right Size 1-8	$3,700.00

beaded

Stryker Australia Pty Ltd

HW075	Duracon Knee System Femoral 	Minimally stabilised, uncemented, beaded,	Small, Medium, Medium-Large, 	$3,700.00

CoCr (Vitallium)	Large, Extra-Large

HW397	Duracon Knee System Femoral 	Minimally stabilised, uncemented, beaded,	Small, Medium, Medium-Large, 	$3,700.00

with removable lugs and capacity to 	Large, Extra-Large

attach box , CoCr (Vitallium),

HW401	Kinemax Knee System Femoral 	Minimally stabilised, uncemented, beaded,	XS, S, M, L, XL, XXL	$3,700.00

CoCr, (Vitallium)

SK387	Triathlon Knee System Femoral 	Minimally stabilised, uncemented, beaded,	1 to 8	$3,700.00	$3,952.00

CoCr

ST033	Scorpio Knee System Femoral 	Minimally stabilised, uncemented, beaded,	3,5,7,9,11,13	$3,700.00

(microstructure), CoCr

Prostheses List by Category, Groups and Sponsor	Page 467 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI109	NexGen Knee Femoral Component 	Femoral Component, uncemented, CoCr 	A - H (L&R)	$4,200.00	$5,050.00

plus titanium fibre metal mesh ingrowth

ZI418	Natural Knee Femoral Component CSTi	Femoral Component, uncemented, CoCr, 	Size 00 to 5	$3,700.00	$3,950.00

with Cancellous Structured Titanium

ingrowth surface

ZI558	Natural Knee II Flex Femur CSTi	Femoral Component, uncemented, CoCr, 	Sizes 1 to 5 GSM Left & Right 	$3,700.00	$4,670.00

with cancellous structure titanium 	and Sizes 0 to 4 GSF Left and

ingrowth CSTi High Flex

ZI591	NexGen CR Flex Femoral Components -	Cobalt Chrome, High Flex, Uncemented, 	Sizes A to G, Left to Right, GSF	$3,700.00	$5,050.00

Uncemented	Cruciate retaining	 C to G Left to Right

CS

Johnson & Johnson Medical Pty Ltd

DY373	LCS Complete Knee System femoral 	Femoral component, uncemented, 	Sizes small to large+	$4,350.00

component	Porocoat, beaded Titanium with TiN

CS, Rev

Endotec Australia Pty Ltd

EA013	Buechel-Pappas Ultracoat Total Knee 	Femoral Component, Titanium, 	 1-6(inc) Left & Right	$3,850.00	$5,450.00

Replacement System Femoral 	uncemented, beaded, TiNi articular and

bone surface treatment

Rev

Advanced Surgical Technologies

AD214	Advance Total Knee System	Stemmed Condylar medial pivot 	1, 2, 3, 4, 5, All in left & right	$6,650.00

component, uncemented, beaded, non

HA, CoCr used with anterior lipped insert,

minimally constrained

LSS Surgical Pty Limited

LS079	Advance Total Knee System	Stemmed Condylar medial pivot 	1, 2, 3, 4, 5, All in left & right	$6,650.00

component, uncemented, beaded, non

HA, CoCr used with anterior lipped insert,

minimally constrained

Prostheses List by Category, Groups and Sponsor	Page 468 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1k - Uncemented, Alloy, Posterior Stabilised

Biomet Australia Pty Ltd

BI165	AGC System femoral component 	Femoral Component, uncemented, CoCr 	55-80mm	$3,800.00

with titanium plasma sprayed surface

(Porous plasma spray PPS) left and right

sided (anatomic), posterior stabilised

BI174	Maxim Complete Knee System Femoral 	Femoral Component,   uncemented, CoCr	55-80mm	$3,800.00	$3,890.00

Component 	 with titanium plasma sprayed surface

(Porous plasma spray PPS), posterior

BI910	Vanguard Rotating Platform Femoral 	Femoral Component, uncemented, CoCr, 	60 - 75mm	$3,800.00

Component	Titanium plasma sprayed surface (Porous

plasma spray PPS), Posterior Stabilised

BI951	Vanguard Total Knee System	Femoral Component, Posterior Stabilised,	55-80	$3,800.00

anatomic, Plasma Porous Coated, CoCr

& Ti alloy

Exactech Australia

EX037	Optetrak Hi Flex Femoral Component 	Femoral Component, uncemented, CoCr 	1-6	$3,800.00	$3,850.00

beaded, high flex (Hi Flex), posterior

stabilised

FOL Technology PTY Ltd

FO019	Trekking Knee System - Femoral 	Femoral component uncemented	1 - 5	$3,700.00

Component

Medacta Australia Pty Ltd

MU039	Evolis Knee System Femoral 	Femoral component, uncemented, CoCr, 	1 - 6, left to right	$3,800.00

titanium plasma spray, posterior stabilised

Orthotech Pty Ltd

OH234	Optetrak Hi Flex Femoral Component 	Femoral Component, uncemented, CoCr 	1-6	$3,800.00	$3,850.00

beaded, high flex (Hi Flex), posterior

stabilised

Smith & Nephew Surgical Pty Ltd

SM071	TC (Tri Compartment) PLUS Knee 	Femoral Component, CoCr, 	2-12	$3,800.00

System Femoral Component	uncemented,Titanium Plasma Spray

(Vacuum spray and triple layer), posterior

SN873	Genesis II Knee System Femoral 	Femoral component, CoCr, cementless, 	Left / Right 1-8	$3,800.00

beaded, posterior stabilised

Prostheses List by Category, Groups and Sponsor	Page 469 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN874	Profix Knee System Femoral 	Femoral component, CoCr, cementless, 	Left / Right 1-8	$3,800.00

beaded, posterior stabilised

Stryker Australia Pty Ltd

SK386	Triathlon Knee System Femoral 	Posterior stabilised, uncemented, beaded, 	Sizes 1 to 8	$3,800.00	$3,952.00

CoCr

SR007	Scorpio Knee System Femoral 	Posterior stabilised, CoCr, uncemented, 	3,5,7,9,11,13	$3,800.00

beaded, (microstructured), with TiNi

surface treatment (LFIT - Low friction

Zimmer Pty Ltd

ZI115	NexGen Knee Femoral Component	Femoral Component, uncemented, CoCr 	A - H (L&R)	$4,300.00	$5,050.00

plus titanium fibre metal mesh ingrowth,

posterior stabilised

ZI419	Natural Knee Femoral Component CSTi	Femoral Component, uncemented, CoCr, 	Size 00 to 5	$3,800.00	$4,440.00

with Cancellous Structured Titanium

ingrowth surface, posterior stabilised

ZI592	NexGen LPS Flex Femoral Components	Cobalt Chrome, High Flex, Uncemented, 	Sizes A to G, Left to Right, GSF	$3,800.00	$5,050.00

- Uncemented	Posterior stabilised	 C to G Left to Right

Rev

Advanced Surgical Technologies

AD185	Advantim / Ortholoc Revision Knee	Femoral component CoCr Revision 	Small, Medium, Large, Xlarge	$6,550.00

beaded varying distal and posterior

AD186	Advantim / Ortholoc Revision Knee	Femoral component CoCr Posterior 	Small, Medium, Large, Xlarge	$6,550.00

Stabilised, beaded, without buildup

LSS Surgical Pty Limited

LS066	Advantim / Ortholoc Revision Knee	Femoral component CoCr Revision 	Small, Medium, Large, Xlarge	$6,550.00

beaded varying distal and posterior

LS067	Advantim / Ortholoc Revision Knee	Femoral component CoCr Posterior 	Small, Medium, Large, Xlarge	$6,550.00

Stabilised, beaded, without buildup

Group 1l - Uncemented, Alloy, Totally Constrained

Rev

Johnson & Johnson Medical Pty Ltd

DY149	LCS Complete Knee System femoral 	Femoral component, uncemented, CoCr, 	Size 1 - 6 including narrow 	$6,850.00

component 	beaded (Porocoat), totally constrained 	sizesss small to large

Prostheses List by Category, Groups and Sponsor	Page 470 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN383	Profix Knee System Femoral 	Femoral Component, CoCr, uncemented, 	Right/Left Size 1-7	$6,850.00

beaded, totally constrained

Group 1m - Uncemented, Alloy, HA coating, Minimally Stabilised

Advanced Surgical Design & Manufacture Ltd

AE041	Active Knee Femoral Component 	Femoral Component, uncemented, distally	Sizes 00 -- 5 Left & Right	$4,100.00

beaded with HA

Advanced Surgical Technologies

AD299	Advance HA Coated Femoral Component	Uncemented, beaded, HA, CoCr, usually 	1 - 6 Left and Right	$4,100.00	$4,272.00

used with a anterior lipped insert

B Braun Australia Pty Ltd

BB232	Emotion Total Knee System (TKS) 	Femoral Component, uncemented, CoCr 	F1 - F8, Left and Right	$4,100.00

Femoral Component 	Titanium plasma spray (Plasmapore), HA

coated

Biomet Australia Pty Ltd

BI962	Vanguard Total Knee System	Femoral Component, Cruciate Retaining, 	55 - 80	$4,100.00	$4,260.00

Anatomic, HA, Plasma Porous Coated,

CoCr & Ti alloy

Corin Australia Pty Ltd

CR107	Score Knee System Femoral Component	Femoral Component, CoCr, uncemented, 	7 Sizes	$4,100.00

stippled surface, titanium plasma spray

with HA, pegged

Finsbury Orthopaedics Australia Pty Ltd

FI026	DBK (Dual Bearing Knee) Total Knee 	Femoral Component, uncemented, CoCr 	Sizes 1-6, Left and Right	$4,100.00

System Femoral Component 	with stippled surface titanium plasma

spray HA coated

FI029	MRK (Medial Rotation Knee) Total Knee	Femoral Component, uncemented, CoCr 	0-5 Left and Right	$3,700.00	$4,100.00

System Femoral Component 	with stippled surface titanium plasma

spray HA coated

FI053	Saiph Knee System Femoral Component	CoCr Polished Cementless Femoral 	1 - 8 Left & Right	$4,100.00

Cementless	Component, Porous Titanium and HA

Global Orthopaedic Technology

GO007	RBK Total Knee System Femoral 	Femoral Component, uncemented,  	1-5	$4,100.00

Component	beaded, CoCr with HA

Prostheses List by Category, Groups and Sponsor	Page 471 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ462	LCS Complete Knee System femoral 	Femoral component, CoCr, uncemented, 	Sizes small to large+	$4,600.00

component	beaded, HA (Duofix)

Link Orthopaedics  Australia

LO128	Link Gemini Femoral Component 	Femoral Component, uncemented, CoCr, 	Extra Small - Extra Large	$4,100.00

microporous, HX  Coating (hydroxy

LSS Surgical Pty Limited

LS127	Advance HA Coated Femoral Component	Uncemented, beaded, HA, CoCr, usually 	1 - 6 Left and Right	$4,100.00	$4,272.00

used with a anterior lipped insert

Medacta Australia Pty Ltd

MU066	GMK Uncemented Standard Femur	Uncemented standard femoral component	1 to 6, left and right	$4,100.00

with titanium porous covered by an

hydroxyapatite coating

Smith & Nephew Surgical Pty Ltd

SN877	Genesis II	CR HA Porous	1-8	$4,100.00

SN878	Profix Knee System Femoral 	Femoral component, CoCr, cementless, 	Left / Right 1-8	$4,100.00

beaded, HA

Stryker Australia Pty Ltd

HW077	Duracon Knee System Femoral 	Minimally stabilised, uncemented, beaded 	Small, Medium, Medium-Large, 	$4,100.00

with PA (Hydroxyapatite), CoCr 	Large, Extra-Large

SK325	Triathlon Knee System Femoral 	Minimally stabilised, CoCr, uncemented, 	Sizes 1 to 8	$4,100.00	$4,264.00

beaded with PA (Hydroxyapatite)

SK334	Scorpio NRG Knee System Femoral 	Minimally stabilised, uncemented, with 	Sizes 3,4,5,6,7,9,11,13	$4,100.00	$4,264.00

Component	Hydroxyapatite, CoCr

ST030	Scorpio Knee System Femoral 	Minimally stabilised, uncemented, beaded 	3,5,7,9,11,13	$4,100.00

(microstructure) with PA,

(Hydroxyapatite), CoCr,

Zimmer Pty Ltd

ZI110	NexGen Knee Femoral Component 	Femoral Component, uncemented, CoCr 	A - H (L&R)	$4,600.00	$5,050.00

plus titanium fibre metal mesh ingrowth

and HA/TCP, cruciate retaining

Prostheses List by Category, Groups and Sponsor	Page 472 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1n - Uncemented, Alloy, HA coating, Posterior Stabilised

Biomet Australia Pty Ltd

BI887	ROCC Femoral Component 	Femoral Component, uncemented, 	1-8	$4,200.00	$4,460.00

Titanium plasma sprayed surface (Porous

plasma spray PPS) with HA

BI911	Vanguard Rotating Platform Femoral 	Femoral Component, uncemented, CoCr, 	60 -75mm	$4,200.00	$4,460.00

Component	Titanium plasma sprayed surface (Porous

plasma spray PPS) with HA, Posterior

Stabilised

BI958	Vanguard Total Knee System	Femoral Component, Posterior Stabilised,	55-80	$4,200.00	$4,270.00

Anatomic, HA, Plasma Porous Coated,

CoCr & Ti Alloy

Medacta Australia Pty Ltd

MU051	Cinétique Knee System Femoral 	Femoral component, uncemented, CoCr, 	Sizes 1 to 6, Left and Right	$4,200.00

Component 	with titanium micro beads, with HA,

posterior stabilised

MU078	GMK Uncemented Posterior stabilised 	uncemented posterior stabilised femoral 	1 to 6, left to right	$4,200.00

femur	component with titanium porus coating

covered by an hydroxyapatite coating

Stryker Australia Pty Ltd

HW398	Duracon Knee System Femoral 	Posterior stabilised, uncemented, beaded 	Small, Medium, Medium-Large, 	$4,200.00

with PA (Hydroxyapatite), CoCr, 	Large, Extra-Large

SR004	Scorpio NRG Knee System Femoral 	Posterior stabilised, uncemented with 	Sizes 3,4,5,6,7,9,11,13	$4,200.00

Component	Hydroxyapatite, CoCr,

SR006	Scorpio Knee System Femoral 	Posterior stabilised, uncemented, beaded 	3,5,7,9,11,13	$4,200.00

(microstructure) with PA

(Hydroxyapatite), CoCr

SR024	Triathlon Knee System Femoral 	Posterior stabilised, uncemented, beaded 	Size 1 - 8	$4,200.00

with PA (Hydroxyapatite), CoCr

Tornier Pty Ltd

TO018	HLS Noetos Femoral Component	Femoral Component, uncemented,  HA 	1 - 6 CoCr	$4,200.00	$4,500.00

coated, CoCr, posterior stabilised using

midline condyle

Prostheses List by Category, Groups and Sponsor	Page 473 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI062	NexGen Knee Femoral Component	Femoral Component, uncemented, high 	Sizes A-G Left & Right	$4,200.00	$5,020.00

flex, CoCr plus titanium fibre metal mesh

ingrowth and HA/TCP, posterior

Knee - Femoral Component: Two-compartmental Arthroplasty

Group 12c: Cemented, non-Alloy

CS

Smith & Nephew Surgical Pty Ltd

SN835	Journey Deuce Bicompartment Femoral 	Bicompartment Femoral Component, 	1-8	$4,300.00

Component 	cemented, Oxinium

Knee - Femoral Component: Uni-Compartmental Knee Replacement

Group 1a - Cemented, Alloy, Minimally Stabilised

Dj Orthopaedics Pty Ltd

DD017	3D Knee System Femoral Component 	Femoral Component, cemented, CoCr 	Size 2 to 12	$3,300.00

Group 1j - Uncemented, Alloy, Minimally Stabilised

Dj Orthopaedics Pty Ltd

DD018	3D Knee System Femoral Component 	Femoral Component, uncemented,  	Size 2 to 12	$3,700.00

beaded, CoCr

Group 2a - Cemented, Alloy

Advanced Surgical Technologies

AD205	Advance-Unicondylar Knee System	Uni Femoral component, cemented, 	Sizes 1, 2, 3, 4	$2,300.00

Biomet Australia Pty Ltd

BI031	Oxford Meniscal Knee System Uni 	Uni Femoral Component, CoCr, 	Small, Medium, Large, Extra 	$2,300.00	$2,816.00

Femoral Component 	Cemented (Phase III)

BI203	Repicci II Unicondylar Knee System Uni	Uni Femoral Component, Cemented, 	45-60mm	$2,300.00	$2,900.00

femoral component

Exactech Australia

EX044	Optetrak Uni Condylar Knee System 	Uni Femoral Component, cemented, CoCr	1-6	$2,300.00	$2,500.00

Femoral Component

Prostheses List by Category, Groups and Sponsor	Page 474 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO032	Global re-surfacing uni-compartmental 	Uni Femoral component, CoCr, cemented	Size 1-5 Right medial/left lateral;	$2,300.00	$3,328.00

knee femoral component	 Size 1-5 Left medial/right lateral

Johnson & Johnson Medical Pty Ltd

DY112	Preservation Knee System uni femoral 	Uni femoral component, cemented, CoCr	Size 1-5	$2,300.00

component

JJ781	Sigma HP Unicompartmental Knee - 	Unicompartmental femoral component, 	Size 1-6, LM/RL & RM/LL	$2,300.00

Unicondylar femoral component	cemented, CoCr

Link Orthopaedics  Australia

LO059	LINK Endo-Model SLED Uni femoral 	Uni Femoral Component, cemented, CoCr	Short, medium-short, medium &	$2,300.00

componet 	 large

LSS Surgical Pty Limited

LS075	Advance-Unicondylar Knee System	Uni Femoral component, cemented, 	Sizes 1, 2, 3, 4	$2,300.00

Mathys Orthopaedics Pty Ltd

MA451	BalanSys UNI femoral component 	Uni Femoral component, cemented CoCr	A, B,C,D,E	$2,300.00	$2,800.00

Medacta Australia Pty Ltd

MU060	Unicompartmental femoral component	cemented unicompartmental femoral 	1 to 4	$2,300.00

component

Orthotech Pty Ltd

OH230	Optetrak Uni Condylar Knee System 	Uni Femoral Component, cemented, CoCr	1-6	$2,300.00	$2,500.00

Femoral Component

Smith & Nephew Surgical Pty Ltd

SM049	UC (Unicompartment) PLUS Solution 	Uni Femoral Component, CoCr, cemented	Femoral - 4, 6, 8, 10.	$2,300.00

Knee System Uni Femoral Component

SM157	Journey Uni Femur- Cocr	Uni Femur - CoCr - It is UniCondylar 	Size 1 to Size 7	$2,300.00

SN338	Genesis II Uni Femoral Component	Uni Femoral component, CoCr, cemented	X-Small - Magnum Plus	$2,300.00

Stryker Australia Pty Ltd

SR052	Freedom PKR / Active 	Uni Femoral component, cemented with 	All sizes for Femoral Component	$2,300.00

Unicompartmental Knee System 	hydroglaze (Electro-polished surface),

SR083	Triathlon PKR - Cemented Femoral 	Triathlon PKR - Uni Femoral Component,	12 -Femurs in total: 1 through to	$2,300.00

Component	 CoCR, Cemented	 6, Left Media/Right lateral + 1

through to 6, Right Media/Left

Lateral

Prostheses List by Category, Groups and Sponsor	Page 475 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST055	EIUS Unicompartmental Knee System 	Uni Femoral component, cemented, CoCr	XS, S, M, L, XL	$2,300.00

Femoral Component

Tornier Pty Ltd

TO007	HLS Uni Femoral Component 	Femoral Component - Cemented, CoCr	1 - 4 CoCr	$2,300.00

Zimmer Pty Ltd

ZI401	Allegretto Unicompartmental Knee 	Uni Femoral component, cemented, CoCr	Size 1 to 3, Size 1+ to 3+	$2,300.00	$2,670.00

Femoral Componen

CS

Corin Australia Pty Ltd

CR059	Uniglide Uni Knee System Uni Femoral 	Uni Femoral Component, CoCr, 	1-4	$2,450.00

Component	cemented, with TiNi surface  coating

Group 2b - Cemented, Alloy, PMMA coating

B Braun Australia Pty Ltd

BB197	Emotion Unicondylar Knee System Uni 	Uni Femoral Component, cemented, 	F1 - F8, Left and Right	$2,300.00

Femoral Component 	CoCr, with PMMA

Zimmer Pty Ltd

ZI106	Miller Galante  Unicompartmental 	Femoral Component, Co Cr, Cemented 	Small to extra large 	$2,300.00

Femoral Compoment 	for fixed insert

ZI494	ZUK (Zimmer Uni-Compartmental High 	Femoral Component, cemented, CoCr, 	Sizes A to G	$2,300.00

Flex Knee) Femoral Component 	high flex

Group 2c - Cemented, non-Alloy

Smith & Nephew Surgical Pty Ltd

SN710	Genesis Uni Femoral Component	Uni Femoral component, Oxinium, 	X-Small - Magnum	$2,825.00

CS

Smith & Nephew Surgical Pty Ltd

SM156	Journey Uni Femur-Oxinium	Uni Femur - Oxinium - It is UniCondylar 	Size 1 to Size 7 Please refer to 	$2,825.00

Femur	the pocket guide

Group 2d - Uncemented, Alloy

Biomet Australia Pty Ltd

BI967	Oxford Meniscal Knee System	Femoral Component, Porous Coated, 	Small - Extra Large	$2,500.00

Prostheses List by Category, Groups and Sponsor	Page 476 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH304	HemiCAP Contoured Articular Knee 	Articular resurfacing component - CoCr 	Articular Component 15mm - 	$2,300.00

System Resurfacing Component 	with titanium plasma spray 	0.5mm x 0.5mm to 2.0mm x

2.0mm offset;  Articular

Component 20mm - 1.0mm x

1.0mm to 4.0mm x 4.0mm

offset; 6 x 2mm to 10 x 3mm

Zimmer Pty Ltd

ZI428	Natural Knee	Unicompartmental - Femur  - Ti/CoCr 	Size 1 to 7	$2,300.00

Group 2e - Uncemented, Alloy, HA coating

Biomet Australia Pty Ltd

BI966	Oxford Meniscal Knee System	Femoral Component, Porous HA Coated 	Small - Extra Large	$2,500.00

CoCr, Ti, HA

Stryker Australia Pty Ltd

ST655	UNIX Unicompartmental Knee System 	Uni Femoral component, uncemented 	1, 2, 3, 4	$2,500.00

Femoral Component	with Hydroxyapatite, CoCr

CS

Corin Australia Pty Ltd

CR058	Uniglide Uni Knee System Uni Femoral 	Uni femoral component, CoCr, 	1-4	$2,650.00

Component	uncemented, Titanium plasma spray, with

calcium phosphate (HA) ingrowth

surface with TiNi articular surface

Knee - Patellar Components

Group 9a - Cemented, all polyethylene

Advanced Surgical Design & Manufacture Ltd

AE050	Active Knee Patella	Patella, cemented, UHMWPE 	Sizes 1 - 5	$600.00

Advanced Surgical Technologies

AD137	Advance Total Knee System patella 	All poly patella, recessed and onlay	25, 28, 32, 35, 38, 41mm	$600.00

components

AD174	Advantim Total Knee System	Patella All Poly UHMWPE	25,28,32mm, 35mm, 38mm, 	$600.00

Prostheses List by Category, Groups and Sponsor	Page 477 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB202	Emotion Total Knee System (TKS) 	All poly patellar, UHMWPE cemented, 3 	P1 to P6, 26 - 41 x 7 - 12mm	$600.00

Patellar Component 	pegs, onlay

BB208	Columbus Total Knee System (TKS) 	All poly patellar, UHMWPE cemented, 3 	P1 - P4	$600.00

Patellar Component 	pegs, onlay

Biomet Australia Pty Ltd

BI176	Biomet Universal Patellar component	All poly Patella, cemented, UHMWPE, 	size 25 to 37mm	$600.00

domed

BI899	ROCC Patellar Component 	All poly Patella, cemented, UHMWPE, 	1-8	$600.00	$650.00

anatomically shaped

Corin Australia Pty Ltd

CR103	Score Knee System Patellar Component 	All poly patella UHMWPE, cemented 	6 Diameters	$600.00

Dj Orthopaedics Pty Ltd

DD022	3D Knee System Patellar component 	All poly, cemented patella, 3 pegs 	Size 26 to 38mm	$600.00

Endotec Australia Pty Ltd

EA012	Buechel-Pappas Ultracoat Total Knee 	All poly patella, cemented, 3 pegs 	 1-6(inc)	$600.00

Replacement System Patellar

ESKA Australia

EK024	RP (Rotating Platform) patella 	Patella, all polyethylene (UHMWPE), can 	small, medium, large	$600.00

be used either cemented or uncemented

Exactech Australia

EX038	Optetrak Total Knee System	Patellar	26-41mm	$600.00	$650.00

Finsbury Orthopaedics Australia Pty Ltd

FI009	DBK (Dual Bearing Knee) Total Knee 	All Poly Patella, UHMWPE, cemented, 3 	S/M/L Form, 23-26-30-34 	$600.00

System Patella Component 	pegs

FI012	MRK (Medial Rotation Knee) Total Knee	All Poly Patellar, UHMWPE, 1 central 	20-30mm	$600.00

System Patellar Component	peg, This is a uncemented poly button

FI057	Saiph Knee System Patella Component	Inset or Onset Polyethylene Patella 	Small & Large, 16mm - 28mm	$600.00

Component

FOL Technology PTY Ltd

FO014	Trekking Knee System, Patellar	Patellar	30 - 40	$600.00

Global Orthopaedic Technology

GO001	RBK Total Knee System Patella 	Patella component All poly, UHMWPE, 	24mm - 40mm	$600.00

cemented, 3 pegs

Prostheses List by Category, Groups and Sponsor	Page 478 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GO189	APEX Knee Reconstruction System, 	All-Poly Dome 3 Peg Patella	29mm x 10mm & 8mm, 32mm 	$600.00

All-Poly 3 Peg Dome Patella, Size 29mm	x 10mm & 8mm, 35mm x

to 41mm x 8mm to 10mm	10mm & 8mm, 38mm x 10mm

& 8mm, 41mm x 10mm

Johnson & Johnson Medical Pty Ltd

DP152	PFC Sigma Knee System patella 	Cemented, all poly, oval dome, round 	25-50mm	$600.00

dome and inset patella

DP264	SROM Noiles Knee System patella	All poly, cemented patella 	Sizes 25 - 38mm	$600.00

DP377	AMK Patella 	All poly, cemented 	Size 30 - 38mm	$600.00

DP524	LCS Complete Knee System patella 	All Poly patella, UHMWPE, cemented	Sizes small to large+	$600.00

component

Lifehealthcare Pty Ltd

LH407	HemiCAP Patello-Femoral Resurfacing 	An all-polyethylene patella resurfacing 	Anatomic Components:  20mm: 	$600.00

System - Patella Component	device used alone or in conjunction with a	1.0mm x 2.5mm, increasing in

femoral trochlear component  Available 	0.5mm increments to 1.0mm x

in  2 configurations Button and Anatomic	4.5mm; Button Components:

20mm: 2.5mm x 2.5mm,

increasing in 0.5mm increments

to 4.5mm x 4.5mm

Link Orthopaedics  Australia

LO042	LINK Endo Model Knee Patella 	Patella Component, UHMWPE, cemented	Small, medium & large	$600.00

Component

LO057	LINK Lubinus Total Patella Glide 	Patella Component, UHMWPE, cemented	Small, medium & large	$600.00

Replacement (patella component)

LSS Surgical Pty Limited

LS045	Advance Total Knee System patella 	All poly patella, recessed and onlay	25, 28, 32, 35, 38, 41mm	$600.00

components

LS062	Advantim Total Knee System	Patella All Poly UHMWPE	25,28,32mm, 35mm, 38mm, 	$600.00

Mathys Orthopaedics Pty Ltd

MA111	Balansys Patella Component	All Polyethylene, UHMWPE, cemented 	Dia 25, 28, 31, 34, 37mm	$600.00

Medacta Australia Pty Ltd

MU031	Evolis Knee System Patella Component 	All poly patella, cemented, UHMWPE, 	20, 24,28mm diam	$600.00

recessed single peg

MU041	Cinétique Knee System Patella 	All Poly Patella, UHMWPE, cemented, 	3 sizes: Size#1-2; #3-4; #5-6	$600.00

dome with 3 pegs

Prostheses List by Category, Groups and Sponsor	Page 479 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MU061	GMK  Inset Patella	Inset cemented polyethylene patella	sizes 1-2; 3-4; 5-6 (20/24/28mm	$600.00

diameter)

MU072	GMK Resurfacing Patella	resurfacing three pegged cemented 	size 1- 2, 3-4, 5-6	$600.00

polyethylene patella

Orthotech Pty Ltd

OH023	Optetrak Total Knee System	Patellar	26-41mm	$600.00	$650.00

Smith & Nephew Surgical Pty Ltd

SN323	Genesis II Patella Component	Patella Component, Inlay, cemented, 	23-35mm 	$600.00

UHMWPE, can be used for multiple

systems (Genesis II, Journey PFJ,

Journey Deuce, Legion)

SN350	Genesis Knee System Patella 	Patella Component, cemented, all poly, 	X-Small - Large	$600.00

UHMWPE

SN382	Profix Knee System Patella Component	Patella Component, UHMWPE, Inset and 	23-35mm	$600.00

Onlay, cemented

SN394	Mod III Patella Femoral Component	Patella Component, UHMWPE, Onlay, 	Mini-Large	$600.00

cemented, for Mod III

Stryker Australia Pty Ltd

HW105	Duracon Knee System Patella 	Patella component, UHMWPE (Duration),	Small, Medium, Large, Xlarge	$600.00

cemented

HW140	Kinemax Knee System Patella 	Patella component Symmetric & 	Small, Medium, Large	$600.00

Asymmetric, UHMWPE (Duration),

HW182	PCA Modular Knee System Patella 	Patella component, UHMWPE, 	Small, Medium, Large, Extra 	$600.00

Component	(Duration), cemented

SK314	Avon Patello Femoral System Patella 	Patella component, UHMWPE (Duration),	Small, Medium, Large	$600.00

Component	 Fixed, cemented

SK323	Triathlon Knee System Patella 	Patella Component, Cemented,  	Symmetric: 27mm x 8mm, 	$600.00

Asymmetric & Symmetric, (X3) 	29mm x 8mm, 31mm x 9mm,

33mm x 9mm, 36mm x 10mm,

39mm x 11mm; Assymetric:

29mm x 9mm, 32mm x 10mm,

35mm x 10mm, 38mm x 11mm,

SK415	Scorpio Knee System Patella 	Patella Component, Inset, Recessed, 	Concentric & Medialized Dome 	$600.00

Medialized dome, Universal Dome, 	patella sizes: 5, 7, 9 & 11;

Concentric Dome, UHMWPE (X3), 	Universal Dome patella sizes: 3,

Fixed, Cemented	5, 7, 9 & 11; Inset & Recessed

patella sizes: 26, 28, 30 and 32mm

Prostheses List by Category, Groups and Sponsor	Page 480 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK419	Triathlon Knee System Patella 	Patella Component, Cemented,  	29 (X3)3 x 9mm, 32 x 36 x 	$600.00

Asymmetric, (X3) UHMWPE	10mm, 35 x 39 x 10mm, 38 x

42x 11mm, 40 x 44 x 11mm

ST636	Scorpio Knee System & S7000 Knee 	Patella component, Inlay, UHMWPE 	3, 5, 7, 9, 11, 13	$600.00

System Patella Component	(N2VAC), cemented

Tornier Pty Ltd

TO009	HLS Noetos System patella 	Patella, cemented, UHMWPE 	small, medium, large	$600.00

Zimmer Pty Ltd

ZI071	Insall-Burstein II Patella Component	All poly, cemented, patella, UHMWPE	32 - 41mm	$600.00	$640.00

ZI093	Miller Galante II Patella 	All poly Patella, cemented, UHMWPE	32 - 41mm	$600.00	$640.00

ZI148	NexGen Patella Component   	Ally poly, cemented, patella, UHMWPE	26 - 41	$600.00	$640.00

ZI432	Natural Knee Patella 	All poly patella, cemented, UHMWPE	Size 0/7mm to 3/10 mm	$600.00	$640.00

Group 9b - Cemented, polyethylene metal backed, mobile

Biomet Australia Pty Ltd

BI903	ROCC Patellar Component 	Patella Component, cemented, metal 	1-8	$1,352.00	$1,410.00

backed, CoCr,  with mobile poly

Johnson & Johnson Medical Pty Ltd

DP523	LCS Complete Knee System patella 	Metal backed, CoCr, rotating, cemented 	Sizes small to large+	$1,352.00

component

JJ669	LCS Patellofemoral Joint Prosthesis 	Metal backed, CoCr, rotating, cemented, 	Sizes small to large+	$1,352.00

(patellar component	patella

Medacta Australia Pty Ltd

MU045	Cinétique Knee System Patella 	Patella component, metal backed, CoCr 	3 Sizes: Size #1-2; #3-4; #5-6	$1,352.00

cemented, with mobile poly

CS

Medacta Australia Pty Ltd

MU046	Cinétique Knee System Patella 	Patella component, metal backed, CoCr 	3 sizes: Size #1-2; #3-4; #5-6	$1,352.00

cemented, with mobile poly and TiNi

(TiNbN) insert surface treatment

Prostheses List by Category, Groups and Sponsor	Page 481 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 9d - Uncemented, polyethylene metal backed, mobile

Biomet Australia Pty Ltd

BI901	ROCC Patellar Component 	Patella Component, uncemented, metal 	1-8	$1,352.00	$1,450.00

backed, Titanium plasma sprayed surface

(Porous plasma spray PPS)  with HA

Global Orthopaedic Technology

GO008	RBK Total Knee System Patella 	Patella component, metal back, CoCr, 	sizes 1 - 5	$1,352.00

mobile, titanium plasma sprayed with HA,

Johnson & Johnson Medical Pty Ltd

DY502	LCS Complete Knee System patella 	Metal backed, CoCr, rotating, 	Sizes small to large+	$1,352.00

component

JJ668	LCS Patellofemoral Joint Prosthesis 	Metal backed, CoCr, rotating, 	Sizes small to large+	$1,352.00

(patellar component	uncemented, patella

Medacta Australia Pty Ltd

MU052	Cinétique Knee System Patella 	Patella component, metal backed, CoCr 	Size #1-2; #3-4; #5-6	$1,352.00

uncemented, with titanium micro beads

CS

Endotec Australia Pty Ltd

EA011	Buechel-Pappas Ultracoat Total Knee 	Patellar component, metal backed, 	1-6(inc)	$1,352.00

Replacement System Patellar 	uncemented, beaded, Titanium, TiNi

surface treatment for bone and mobile

Group 9e - Uncemented, polyethylene metal backed, moulded

Smith & Nephew Surgical Pty Ltd

SM142	TC (Tri Compartment) PLUS Knee 	Patella Component, metal backed, 	8-26mm - 12/35mm	$800.00

System and VKS Patella Component	uncemented,Titanium Plasma Spray

(Vacuum spray and triple layer), moulded

Stryker Australia Pty Ltd

HW108	Scorpio Knee System Patella 	Patella component, Metal backed, CoCr, 	Small, Medium, Large, Xlarge	$800.00

uncemented, beaded, PA

(Hydroxyapatite), Moulded UHMWPE

ST609	Scorpio Knee System Patella 	Patella component, Metal backed, CoCr, 	26-32mm in 2mm increments 	$800.00

uncemented, beaded, moulded 	10mm thick

polyethylene (N2VAC)

Prostheses List by Category, Groups and Sponsor	Page 482 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI147	NexGen  Patella Component 	Metal backed, trabecular metal 	26 - 41	$800.00	$1,190.00

(Tantalum), patella component, with

moulded UHMWPE, uncemented

ZI266	NexGen Trabecular Metal Augmented 	Augmented trabecular metal  combined 	Small, medium, large and x-large	$800.00	$3,420.00

Patella	with NexGen all poly patella component

ZI431	Natural Knee Patella CSTi	Patella metal backed, with cancellous 	Size 0 to 3	$800.00

structure Titanium ingrowth

ZI454	Natural Knee Patella CSTi	Patella metal backed, with cancellous 	0-3	$800.00	$1,185.00

structure Titanium ingrowth with highly

crosslinked poly (durasul)

Group 9f - Polyethylene insert for mobile patella

Johnson & Johnson Medical Pty Ltd

JJ697	LCS Total Knee System - Replacement 	Replacement UHMWPE insert for LCS 	Small+ to Large+	$600.00

Patella Polyethylene	mobile bearing patella

Knee - Patello Femoral Replacement Femoral Component

Group 7a - Alloy

Biomet Australia Pty Ltd

BI945	Vanguard PFR	Femoral Component, Ti	XS to Xlarge	$2,750.00	$3,140.00

Global Orthopaedic Technology

GO035	RBK Total Knee System Patello Femoral	Trochlear Component, cemented, CoCr 	Size 1 to 5	$2,750.00	$3,640.00

(trochlear component)

Johnson & Johnson Medical Pty Ltd

DY111	LCS Patellofemoral Joint Prosthesis 	Femoral trochlear component, cemented, 	Sizes small to large+	$2,750.00

(femoral component) 	CoCr

JJ776	Sigma HP Trochlear Component	Femoral trochlear component, cemented, 	Sizes 1-5, left and right	$2,750.00

CoCr

Link Orthopaedics  Australia

LO058	LINK Lubinus Total Patella Glide 	Femoral trochlear Component, cemented,	Small, medium, large, extra large	$2,750.00

Replacement (femoral trochlear 	 CoCr

Prostheses List by Category, Groups and Sponsor	Page 483 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN371	MOD III Patella Femoral Knee System 	Trochlear Component, CoCr, cemented, 	Small & Large	$2,750.00

Trochlear Component

Stryker Australia Pty Ltd

ST600	Avon Patello Femoral System Femoral 	Trochlear component, CoCr (Vitallium), 	Extra Small, Small, Medium, 	$2,750.00	$2,969.00

Component	cemented

Zimmer Pty Ltd

ZI563	Zimmer Gender Solutions Patellofemoral	Patellofemoral joint fem implant PMMA 	Sizes 1 - 5 - Left & Right	$2,750.00	$3,990.00

Joint System	precoat

Group 7b - Non-alloy

CS

Smith & Nephew Surgical Pty Ltd

SN834	Journey Knee System Patella Femoral 	 Trochlear Component,cemented, 	Sm, Med Lg, XLg	$3,000.00

Replacement Trochlear Component

Group 7p - Partial resurfacing

Lifehealthcare Pty Ltd

LH409	HemiCAP Patello-Femoral Resurfacing 	A distal femoral trochlear surface 	20mm: 2.0mm x 2.0mm, 	$2,050.00	$2,269.00

System - Femoral Trochlear Component	articular component comprised of cobalt-	increasing in 0.5mm increments

Articular	chromium alloy which mates to a fixation	to 3.5mm x 3.0mm

Knee - Tibial Insert: Total Knee Arthroplasty

Group 5a - Minimally Stabilised, fixed

Advanced Surgical Design & Manufacture Ltd

AE047	Active Knee Tibial Insert	Tibial Insert, UHMWPE, ultra congruent 	Sizes 1 - 5 Thickness 6 - 17.5mm	$1,140.00

AE049	Active Knee Tibial Insert	Tibial Insert, minimally stabilised, 	Sizes 1 - 5 Thickness 6 - 15.5mm	$1,140.00

AE079	Active Knee Ultra Plus Tibial Insert	 Tibial Insert, UHMWPE, anterior lipped 	1 - 5, 6 - 17.5mm Thickness	$1,140.00	$1,700.00

Advanced Surgical Technologies

AD139	Advance Total Knee System	High anterior lipped, Medial pivot 	0, 1, 2, 3, 4, 5, 6 in 10 - 25mm 	$1,140.00	$1,550.00

UHMWPE fixed tibial insert	thicknesses

AD171	Advantim Total Knee System	Tibial Inserts Total Condylar UHMWPE, 	10-36mm in 2mm increments	$1,140.00

includes unconstrained insert and

minimally stabilised (LSI)

Prostheses List by Category, Groups and Sponsor	Page 484 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AD280	Advance Double High Tibial Insert	Minimally stabilised, fixed, tibial insert, 	All inserts are available in Left 	$1,140.00	$1,450.00

with high flexion, UHMWPE 	and Right: Sizes 1.5, 0, 1, 2, 3,

4, 5, & 6, in the following

increments of 10, 12, 14, 17, 20

B Braun Australia Pty Ltd

BB207	Columbus Total Knee System (TKS) 	Tibial Insert, UHMWPE, fixed 	T1 - T5	$1,140.00

Tibial Insert

Biomet Australia Pty Ltd

BI149	AGC Total Knee System Tibial Insert 	Tibial Insert 'Tradition' fixed, UHMWPE 	59-91mm	$1,140.00	$1,228.00

with locking pin

BI172	Maxim Complete Knee System Tibial 	Tibial Insert,  UHMWPE, fixed with 	59-91mm	$1,140.00	$1,220.00

Insert  	locking pin

BI798	Ascent Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, curved (dished) 	59, 63/67, 71/75, 79/83, 	$1,140.00	$1,144.00

or lipped, fixed with locking pin 	87/91mm widths, 10-20mm

BI888	Vanguard Total Knee System	Tibial Bearing, CR, curved or lipped, 	59, 63/67, 71/75, 79/83, 87/91 	$1,140.00

UHMWPE	widths, 10, 12, 14, 16, 18,

20mm thicknesses

BI976	Vanguard E-Poly CR Tibial bearing	Vitamin E infused Highly Cross linked 	59 to 91 x (10 -18mm)	$1,140.00

Polyethylene /cruciate Retaining Tibial

bearing.

Corin Australia Pty Ltd

CR008	Rotaglide + Total Knee System, Tibial 	Tibial Insert, fixed, UHMWPE	9.5mm - 17mm	$1,140.00

Insert

Dj Orthopaedics Pty Ltd

DD021	3D Knee System Tibial Insert 	Tibial insert, UHMWPE, fixed with lateral	Size 1 to 12, 9mm to 19mm	$1,140.00

pivot with locking screw

ESKA Australia

EK022	ST Tibial Insert 	Tibial Insert, UHMWPE, Fixed	Various sizes and heights	$1,140.00

Exactech Australia

EX039	Optetrak Total Knee System, Tibial 	Tibial Insert, UHMWPE, Fixed (Cruciate 	Size 1-6	$1,140.00	$1,300.00

retained)

Finsbury Orthopaedics Australia Pty Ltd

FI027	MRK (Medial Rotation Knee) Total Knee	Tibial Insert, UHMWPE, Fixed	1/2/3, 8-18mm thickness	$1,140.00

System Tibial Insert

Prostheses List by Category, Groups and Sponsor	Page 485 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO159	RBK Universal Tibial Insert 	Tibial Insert, UHMWPE, fixed, requiring 	Size 1- 5, 10mm - 20mm	$1,140.00

fixation with separate bolt

GO191	APEX Knee Reconstruction System, 	Tibial Insert, Standard, Ultra & 	Size 1, 10mm to 20mm, size 2, 	$1,140.00

Tibial Insert, Standard, Ultra & 	Congruent, Size 1-7, 10mm to 20mm.	10mm to 20mm, size 3, 10mm

to 20mm, size 4, 10mm to

20mm, size 5, 10mm to 20mm,

size 6, 10mm to 20mm, size 7,

Johnson & Johnson Medical Pty Ltd

DP162	PFC Sigma Knee System  tibial insert 	Tibial insert for AMK Duofix tibial 	Sizes  1 - 6.  8-30mm	$1,140.00

baseplate with locking post and clip,

DY481	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, standard and 	Sizes  1 - 6.  8-30mm	$1,140.00

posterior lipped

JJ509	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, moderately cross	Sizes  1 - 6.  8-30mm	$1,140.00

linked

LSS Surgical Pty Limited

LS046	Advance Total Knee System	High anterior lipped, Medial pivot 	0, 1, 2, 3, 4, 5, 6 in 10 - 25mm 	$1,140.00	$1,550.00

UHMWPE fixed tibial insert	thicknesses

LS059	Advantim Total Knee System	Tibial Inserts Total Condylar UHMWPE, 	10-36mm in 2mm increments	$1,140.00

includes unconstrained insert and

minimally stabilised (LSI)

LS122	Advance Double High Tibial Insert	Minimally stabilised, fixed, tibial insert, 	All inserts are available in Left 	$1,140.00	$1,450.00

with high flexion, UHMWPE 	and Right: Sizes 1.5, 0, 1, 2, 3,

4, 5, & 6, in the following

increments of 10, 12, 14, 17, 20

Mathys Orthopaedics Pty Ltd

MA110	Balansys Tibial Insert  	Tibial insert, minimally stabilised, 	Insert 64/8 - 85/15.5	$1,140.00

MA459	Balansys Tibial Insert  	Tibial insert, ultra congruent, deep dished,	64/8mm -85/20.5mm	$1,140.00

UHMWPE

Medacta Australia Pty Ltd

MU034	Evolis Knee System Tibial Insert   	Tibial Insert, UHMWPE, fixed  	1 - 6, 9/11/13/16/19mm 	$1,140.00

MU071	GMK Standard Fixed Tibial Insert	Posterior cruciate retaining fixed 	size 1 to 6, 10/12/14/17/20mm 	$1,140.00

polyethylene insert	thickness

MU074	GMK ultracongruent Fixed tibial Insert	Ultracongruent fixed polyethylene insert	1 to 6, 10/12/14/17/20mm 	$1,140.00

Prostheses List by Category, Groups and Sponsor	Page 486 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthotech Pty Ltd

OH331	Optetrak Total Knee System, Tibial 	Tibial Insert, UHMWPE, Fixed (Cruciate 	Size 1-6	$1,140.00	$1,300.00

retained)

Smith & Nephew Surgical Pty Ltd

SM076	VKS (Vario) Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed	1-12	$1,140.00

SM090	RT (Rotating Hinge) PLUS Knee System	Tibial Insert, UHMWPE,  fixed, for 	0-10	$1,140.00

Tibial Insert	hinged femoral and tibial components,

reinforced fixation clip and centeral hole

for femoral component hinge post

SM174	Verilast CR Insert	Cruciate Retaining Tibial Insert	Sizes 1-8 9mm to 15mm	$1,140.00

SN310	Genesis II Knee System Tibial Insert	Tibial Insert, Fixed, UHMWPE, (deep 	1-8. 9 - 21mm	$1,140.00

SN348	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed 	Left & Right XS-Magnum 	$1,140.00

8MM-15MM

SN867	Genesis II Knee System Tibial Insert	Tibial insert, UHWPE, fixed	1-9	$1,140.00

SN868	Profix Knee System Tibial Insert	Tibial insert, UHWPE, fixed	1-9	$1,140.00

SN881	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, includes 	Left / Right 1 - 8	$1,140.00

standard and deep dished / high flex insert

without peg

SN882	Genesis II Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, includes 	Left / Right 1 - 8	$1,140.00

standard and deep dished / high flex insert

without peg

Stryker Australia Pty Ltd

HW091	Duracon Knee System Tibial Insert 	Minimally stabilised, AP Lipped tibial 	Small, Medium, Large, Extra-	$1,140.00

insert, UHMWPE, (Duration)	Large in each thickness 9mm,

11mm, 13mm, 16mm, 19mm,

22mm, 25mm

HW102	Duracon Knee System Tibial Insert 	Minimally stabilised, tibial insert to match 	Small, Medium, Large, Extra-	$1,140.00

PCA femur with Duracon baseplate, 	Large in each thickness 9mm,

UHMWPE (Duration)	11mm, 13mm, 16mm, 19mm,

22mm, 25mm, 28mm, 31mm

HW160	Kinemax Knee System Tibial Insert	Minimally stabilised, tibial insert, Low 	8, 10, 12, 15, 18, 21, 25mm per	$1,140.00

Stress, UHMWPE (Duration)

HW162	Interax Knee System Patella	Patella, resurfacing, all UHMWPE 	8, 10, 12, 15, 18, 21mm per size	$1,140.00

HW174	Kinemax Knee System Tibial Insert	Minimally stabilised tibial insert, 	8, 10, 12, 15, 18, 21, 25mm per	$1,140.00

UHMWPE, (Duration)

Prostheses List by Category, Groups and Sponsor	Page 487 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HW232	HMRS (Howmedica Modular 	HMRS Rotating Hinge Tibial insert, 	6, 10, 14mm	$1,140.00	$2,070.00

Replacement System) Rotating Hinge 	UHMWPE (Duration), Fixed

HW248	MRH (Modular Rotating Hinge) & 	MRH & GMRS Tibial insert, (Duration) 	xsmall - xlarge	$1,140.00	$2,127.00

GMRS (Global Modular Replacement 	UHMWPE, for MRH and GMRS Tibial

System) Tibial Inserts	baseplate, CoCr (Vitallium), Fixed with

central hole for Hinge

SK091	Duracon Knee System CS Lipped Tibial 	Minimally stabilised, CS Lipped tibial 	XS,S,M,L,XL Thickness 	$1,140.00	$1,200.00

Insert	insert, deep dish, UHMWPE, (Duration)	9,11,13,16,19,22,25mm

SK328	Triathlon Knee System Tibial Insert	Minimally stabilised, tibial insert, 	Sizes 1 to 8 	$1,140.00	$1,430.00

UHMWPE, (N2VAC)	(9/11/13/16/19/22/25mm

SK333	Scorpio NRG Knee System Tibial Insert	Minimally stabilised tibial insert, 	Sizes 3,4,5,6,7,9,11,13, x 	$1,140.00	$1,430.00

UHMPWE (N2VAC)	(8/10/12/15/18/21/24mm

SK431	Triathlon Knee System CS Lipped Insert	Minimally stabilised, CS Lipped tibial 	Sizes 1-8 _small - large) size 	$1,140.00	$1,430.00

insert deep dish, UHMWPE (N2VAC) 	increments, 9mm, 11mm,

13mm, 16mm, 19mm, 22mm,

SK432	Triathlon Knee System CS Lipped Tibial	Minimally stabilised, CS Lipped tibial 	Sizes 1-8 _small - large) size 	$1,140.00	$1,430.00

Insert	insert deep dish, UHMWPE, (X3)	increments, 9mm, 11mm,

13mm, 16mm, 19mm, 22mm,

SR076	Triathlon X3 CR Tibial Insert	Intended use as part of a total knee 	Sizes 1-8 available in 	$1,140.00	$1,650.00

system in primary cemented and primary 	9,11,13,16,19mm thicknesses

uncemented total knee arthroplasty.

SR077	Scorpio NRG X3 CR Tibial Insert	Intended use as part of a total knee 	Sizes 3,5,7,9,11 in thicknesses: 	$1,140.00	$1,650.00

system in primary cemented and primary 	8,10,12,15,18,21,24mm

uncemented total knee arthroplasty.

SR079	Triathlon X3 CS Lipped Tibial Insert	Intended use as part of a total knee 	Sizes 1-8 available in 	$1,140.00	$1,650.00

system in primary cemented and primary 	9,11,13,16,19,22 and 25mm

uncemented total knee arthroplasty.	thicknesses

ST608	Scorpio Knee System Tibial Insert	Minimally stabilised tibial insert, 	8-18mm in 2mm increments	$1,140.00	$1,200.00

UHMWPE (N2VAC)

ST643	S7000 Knee System Tibial Insert 	Minimally stabilised tibial insert, 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 	$1,140.00	$1,200.00

UHMWPE (N2VAC), used for Series 	15, 18, 21,24mm

7000 Minimally stabilised tibial insert

Zimmer Pty Ltd

ZI077	Miller Galante I Tibial Insert 	Tibial Insert, UHMWPE, fixed 	8 - 22mm	$1,140.00	$1,250.00

ZI088	Miller Galante II Tibial Insert 	Tibial Insert, UHMWPE, fixed 	9 - 23mm	$1,140.00	$1,250.00

ZI134	NexGen Tibial Insert 	Tibial Insert, fixed, standard and anterior 	9 - 23 mm	$1,140.00	$1,250.00

lipped, UHMWPE

Prostheses List by Category, Groups and Sponsor	Page 488 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI135	NexGen Tibial Insert 	Ant. Constr. - UHMWPE	9 - 23mm	$1,140.00	$1,250.00

ZI139	NexGen Tibial Insert 	Tibial Insert, UHMWPE, 'anatomically 	9 - 23mm	$1,140.00	$1,250.00

rotated'

ZI410	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, fixed 	00 to 5, 9 to 22mm	$1,140.00	$1,250.00

ZI411	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, fixed, 	00 to 5, 9 to 22mm	$1,140.00	$1,250.00

ultracongruent dished

ZI450	Natural Knee Tibial Insert	Tibial Insert, UHMWPE, Highly crossed 	00 to 5, 9 to 22mm	$1,140.00	$1,430.00

linked (Durasul PE), congruent and ultra

congruent

ZI584	NexGen Prolong Flex Articulating 	Highly Crosslinked - Ultra High Molecular	Sizes 1 to 10, 9mm to 23mm	$1,140.00	$1,430.00

Weight Polyethylene - Fixed Bearing -

Ri

Johnson & Johnson Medical Pty Ltd

JJ667	AMK Tibial Insert	Tibial insert UHMWPE, minimally 	Size 1-5	$1,140.00

Group 5b - Minimally Stabilised, mobile

Advanced Surgical Design & Manufacture Ltd

AE046	Active knee Tibial Insert  	Mobile insert, dished, UHMWPE 	Sizes 1 - 5 Thickness 6 - 9.5mm	$1,140.00

B Braun Australia Pty Ltd

BB198	Emotion Total Knee System (TKS) 	Tibial Insert, UHMWPE, mobile	T1 to T8 Size: 10 to 24mm	$1,140.00

Tibial Insert

BB255	Columbus Total Knee System (TKS) 	Tibial Insert, UHMWPE, Mobile	T1- T5	$1,140.00

Tibial Insert

Biomet Australia Pty Ltd

BI197	Rotating Platform Knee System	Tibial Bearing, UHMWPE	60-75mm	$1,140.00	$1,390.00

Corin Australia Pty Ltd

CR007	Rotaglide + Total Knee System, Tibial 	Tibial Insert, Mobile bearing, UHMWPE	7mm - 17mm	$1,140.00

Insert

CR108	Score Knee System Tibial Insert  	Tibial Insert, mobile bearing, UHMWPE	7 sizes, 5 thicknesses	$1,140.00

Endotec Australia Pty Ltd

EA010	Buechel-Pappas Ultracoat Total Knee 	Tibial Insert, UHMWPE, mobile bearing 	1-6(inc)	$1,140.00

Replacement System Tibial Insert

Prostheses List by Category, Groups and Sponsor	Page 489 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ESKA Australia

EK044	RP (Rotating Platform)Tibial Insert B	Tibial insert, UHMWPE, mobile, deep 	8-10-12-14mm	$1,140.00

Finsbury Orthopaedics Australia Pty Ltd

FI006	DBK (Dual Bearing Knee) Total Knee 	Tibial Insert, UHMWPE, mobile bearing	S/M/L Form, 9-17mm thickness	$1,140.00

System Tibial Insert

Global Orthopaedic Technology

GO002	RBK Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing	1-5, 10-20mm	$1,140.00

GO160	RBK Universal Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing, 	1-5, 10mm - 20mm	$1,140.00

requiring fixation with separate bolt

Johnson & Johnson Medical Pty Ltd

DP026	LCS Complete Knee System rotating 	Tibial insert, for rotating platform, 	Sizes small to large+	$1,140.00

platform tibial Insert 	UHMWPE

DP166	PFC Sigma Knee System  tibial insert 	Tibial Insert, rotating platform UHMWPE	Sizes  1 - 6.  8-30mm	$1,140.00

DP238	LCS Classic and Universal Knee System	Tibial inserts, meniscal bearing medial and	Sizes small to large+. 10-20mm	$1,140.00

meniscal bearing tibial Insert 	 lateral (by 2 per procedure)

DY465	LCS Classic and Universal Knee System	Tibial insert, UHMWPE, rotating 	Sizes small to large+. 10-30mm	$1,140.00

rotating platform tibial insert 	platform, standard and deep dish, used

for revising LCS classic and universal TKA

JJ658	LCS Complete Knee System APG Tibial 	Tibial Insert, Mobile, UHMWPE, used 	Sizes small to large+	$1,140.00

Insert	with APG guide arm only

Link Orthopaedics  Australia

LO131	Link Gemini Tibial Insert 	Tibial Insert, UHMWPE, mobile insert 	Extra Small - Extra Large	$1,140.00

Mathys Orthopaedics Pty Ltd

MA311	Balansys Tibial Mobile Insert	Tibial Insert, mobile bearing, UHMWPE, 	64/8mm -85/20.5mm	$1,140.00	$1,200.00

Medacta Australia Pty Ltd

MU049	Cinétique Knee System Tibial Insert  	Tibial Insert, UHMWPE, mobile bearing, 	Size 1 to 6, 7/9/11/13/15mm 	$1,140.00

standard, 	thicknesses

MU068	GMK Standard mobile tibial insert	posterior cruciate retaining mobile 	size 1 to 6, 10/12/14/17/20mm 	$1,140.00

polyethylene insert	thickness

Smith & Nephew Surgical Pty Ltd

SM031	TC (Tri Compartment) PLUS Knee 	Tibial Insert, UHMWPE, mobile, deep 	1-12 : 9-19mm	$1,140.00

System Tibial Insert

SM063	Tibial Insert	Mobile Bearing Tibial Insert	1-12	$1,140.00

SM069	VKS (Vario) Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, deep dished	1-6	$1,140.00

Prostheses List by Category, Groups and Sponsor	Page 490 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN320	Genesis II Knee System Tibial Insert	Tibial Insert for mobile insert, UHMWPE	Left & Right, Size 1-8, 9-15mm 	$1,140.00

SN378	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile, anterior 	Size 1-8 10-16mm	$1,140.00

lip (Conforming Plus)

SN379	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile	Size 1-8 10-16mm	$1,140.00

SN699	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile, anterior 	1-8, 18-20mm	$1,140.00

lip (Conforming Plus) Larger sized inserts

Stryker Australia Pty Ltd

SR031	Triathlon Knee System Tibial Insert 	Minimally stabilised, mobile bearing tibial 	1 to 8, 9mm to 19mm	$1,140.00	$1,350.00

insert, UHMWPE (N2VAC)

SR033	Triathlon Knee System Tibial Insert 	Minimally constrained, CS Lipped Tibial 	1 to 8, 9mm to 22mm	$1,140.00	$1,350.00

insert, deep dished (CS) UHMWPE,

N2VAC, mobile bearing

ST032	Scorpio Knee System Tibial Insert	Minimally stabilised, mobile bearing tibial 	8-24mm for all tibia sizes	$1,140.00	$1,300.00

insert, UHMWPE (N2VAC)

ST912	Duracon ISA Knee System Tibial Insert	Minimally stabilised, mobile bearing tibial 	Small, medium, large, X-large - 	$1,140.00	$1,300.00

insert, UHMWPE (Duration)	left, right

Zimmer Pty Ltd

ZI138	NexGen MBK Tibial Insert 	Tibial Insert,  UHMWPE, mobile	9 - 23mm	$1,140.00	$1,165.00

ZI408	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE,  mobile insert  	00 to 5, 9 to 22mm	$1,140.00	$1,165.00

ZI434	SAL Knee Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing 	Mobile Bearing - 0/1 to E/16	$1,140.00	$1,165.00

ZI515	NexGen Prolong Tibial Insert 	Tibial Insert, Highly Crosslinked - 	Sizes A - G 9mm to 20mm	$1,140.00	$1,430.00

UHMWPE (prolong), mobile bearing

ZI585	NexGen Prolong Flex Articulating 	Highly Crosslinked - Ultra High Molecular	Sizes 1 to 10, 9mm to 23mm	$1,140.00	$1,430.00

Weight Polyethylene - Mobile Bearing - CR

Group 5c - Posterior Stabilised, fixed

Advanced Surgical Technologies

AD136	Advance Total Knee System	Posterior stabilised, fixed tibial insert, 	1, 2, 3, 4, 5, 6	$1,200.00	$1,404.00

UHMWPE

AD188	Advantim / Ortholoc Revision Knee	Tibial inserts posterior stabilised 	Small, Medium, Large, X-Large 	$1,200.00

UHMWPE (LSI and "unconstrained" 	- 10 to 35mm in 2mm increments

Prostheses List by Category, Groups and Sponsor	Page 491 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB209	Columbus Total Knee System (TKS) 	Tibial Insert, UHMWPE, fixed, posterior 	T1 - T5	$1,200.00

Tibial Insert  	stabilised with included screw for fixation

to baseplate

Biomet Australia Pty Ltd

BI179	Maxim Complete Knee System Tibial 	Tibial Insert,  UHMWPE, fixed with 	59-91mm	$1,200.00	$1,506.00

Insert  	locking pin, posterior stabilised with peg

BI905	AGC Total Knee System Tibial Insert 	Tibial Insert 'Tradition', Posterior 	59-91mm	$1,200.00	$1,460.00

Stabilised with peg, UHMWPE with

BI975	Vanguard E-Poly PS bearing	Vitamin E infusion Highly Cross linked 	59 - 91 x (10 - 18mm)	$1,200.00	$1,650.00

Polythylene Posterior Stabilised Tibial

Bearing

Exactech Australia

EX041	Optetrak Total Knee System, Tibial 	Tibial Insert, UHMWPE, Fixed (Posterior 	Size 1-6	$1,200.00	$1,300.00

Stabilised)

EX042	Optetrak Total Knee System, Tibial 	Tibial Insert, UHMWPE, Fixed (Hi Flex)	Size 1-6	$1,200.00	$1,300.00

Finsbury Orthopaedics Australia Pty Ltd

FI056	Saiph Knee System APS Tibial Insert	Compression Moulded Anterior Posterior 	A - F, Left & Right 10 - 20mm	$1,200.00

Stablilised Tibial Bearing

FOL Technology PTY Ltd

FO015	Trekking Knee System, Tibial Insert	Tibial Insert	1 - 5 (+0/+13)	$1,200.00

Johnson & Johnson Medical Pty Ltd

JJ508	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, moderately cross	Sizes  1 - 6.  8-30mm	$1,200.00

linked, with peg

LSS Surgical Pty Limited

LS044	Advance Total Knee System	Posterior stabilised, fixed tibial insert, 	1, 2, 3, 4, 5, 6	$1,200.00	$1,404.00

UHMWPE

LS069	Advantim / Ortholoc Revision Knee	Tibial inserts posterior stabilised 	Small, Medium, Large, X-Large 	$1,200.00

UHMWPE (LSI and "unconstrained" 	- 10 to 35mm in 2mm increments

Mathys Orthopaedics Pty Ltd

MA489	Balansys Tibial Insert  	Tibial insert, posterior stabilised 	Height: 	$1,200.00	$1,400.00

8/10.5/13/15.5/18/20.5/23 -

ML/AP Dimensions:

Prostheses List by Category, Groups and Sponsor	Page 492 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU032	Evolis Knee System Tibial Insert   	Tibial Insert, UHMWPE, fixed, posterior 	1 - 6, 9/11/13/16/19mm 	$1,200.00

stabilised

MU059	GMK Posterior Stabilised fixed tibial 	Posterior Stabilised fixed polyethylene 	size 1 to 6, 10/12/14/17/20mm 	$1,200.00

thickness

Orthotech Pty Ltd

OH332	Optetrak Total Knee System, Tibial 	Tibial Insert, UHMWPE, Fixed (Posterior 	Size 1-6	$1,200.00	$1,300.00

Stabilised)

OH333	Optetrak Total Knee System, Tibial 	Tibial Insert, UHMWPE, Fixed (Hi Flex)	Size 1-6	$1,200.00	$1,300.00

Smith & Nephew Surgical Pty Ltd

SM072	TC (Tri Compartment) PLUS Knee 	Tibial Insert, UHMWPE, fixed, posterior 	2-12	$1,200.00

System Tibial Insert	stabilised with peg

SM175	Verilast PS Insert	Posterior Stabilized Tibial Insert	Size 1-8 9mm to 15mm	$1,200.00

SN349	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, posterior 	Right/Left S-XL 8mm-25mm	$1,200.00

stabilised with peg

SN727	Genesis II Knee System Tibial Insert	Tibial Insert, Posterior Stabilised, 	1-8, 9-25mm thickness	$1,200.00

UHMWPE, fixed, high flex with peg

SN780	Journey Knee System Tibial Insert	Tibial Insert, UHMWPE, Fixed posterior 	8-30mm, 1-10	$1,200.00

stabilised with peg

SN875	Genesis II Knee System Tibial Insert	Tibial Insert, UHMWPE, posterior 	1-8	$1,200.00

stabilised with peg, fixed

SN876	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, posterior 	1-8	$1,200.00

stabilised with peg, fixed

Stryker Australia Pty Ltd

HW092	Duracon Knee System Tibial Insert 	Posterior stabilised tibial insert, with 	Small, Medium, Large, Extra-	$1,200.00

reinforcing pin, UHMWPE, (Duration) 	Large in each thickness 9mm,

11mm, 13mm, 16mm, 19mm,

22mm, 25mm

SR002	Triathlon Knee System Tibial Insert 	Posterior stabilised insert, 	Sizes 1 to 8 	$1,200.00	$1,430.00

UHMWPE,(N2VAC) 	(9/11/13/16/19/22/25mm

SR008	Scorpio Knee System Tibial Insert	Posterior stabilised tibial insert, UHMWPE	8-18mm in 2mm increments	$1,200.00

(N2VAC)

SR012	Scorpio NRG Knee System Tibial Insert	Posterior stabilised tibial insert, 	Sizes 3,4,5,6,7,9,11,13, x 	$1,200.00	$1,430.00

UHMWPE, (N2VAC)	(8/10/12/15/18/21/24mm

Prostheses List by Category, Groups and Sponsor	Page 493 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SR020	S7000 Tibial Insert 	Posterior stabilised tibial insert, 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 	$1,200.00

UHMWPE, (N2VAC), used for series 	15, 18, 21,24mm

SR074	Triathlon X3 PS Tibial Insert	Intended use as part of a total knee 	Sizes 1-8 available in 	$1,200.00	$1,650.00

system in primary cemented and primary 	9,11,13,16,19,22 and 25mm

uncemented total knee arthroplasty. 	thicknesses

Intended to be used in situation where the

posterior cruciate ligament is absent, or

SR078	Scorpio NRG X3 PS tibial Insert	intended to be used in situations where 	3,5,7,9,11 in thickness: 	$1,200.00	$1,650.00

the posterior cruciate ligament is absent, 	8,10,12,15,18,21,24mm

or cannot be preserved.

ST644	S7000 Tibial Insert series I	Posterior stabilised tibial insert, Series II, 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 	$1,200.00

UHMWPE (N2VAC)	15, 18, 21,24mm

ST646	S7000 Tibial Insert, series II	Tibial Insert posterior stabilised - PSII 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 	$1,200.00

UHMWPE	15, 18, 21,24mm

ST925	Scorpio Knee System SuperFlex Tibial 	Posterior stabilised tibial insert, 	3, 5, 7, 9 , 11, 13 in thickness 8,	$1,200.00	$1,404.00

Insert 	SuperFlex, UHMWPE (N2VAC)	 10, 12, 15, 18, 21, 24mm

Tornier Pty Ltd

TO036	HLS Noetos Tibial insert, fixed	Tibial Insert, fixed, UHMWPE, posterior 	1 to 6, 9, 11 & 13mm	$1,200.00

stabilised

Zimmer Pty Ltd

ZI057	NexGen Flex Tibial Insert 	Tibial Insert, fixed, posterior stabilised, 	Sizes 9 - 23mm	$1,200.00	$1,250.00

high flex, UHMWPE

ZI064	Insall-Burstein II CCK Tibial Insert	Tibial Insert which is fixed and posterior 	10 - 35mm	$1,200.00	$1,250.00

stabilised, UHMWPE,

ZI066	Insall-Burstein II  Tibial Insert 	Tibial Insert which is fixed and posterior 	8 - 25mm	$1,200.00	$1,250.00

stabilised, UHMWPE,

ZI136	NexGen Tibial Insert 	Tibial Insert, fixed, posterior stabilised, 	9 - 23mm	$1,200.00	$1,250.00

UHMWPE

ZI409	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, posterior 	00 to 5, 9 to 22mm	$1,200.00	$1,250.00

stabilised, fixed

ZI521	NexGen LPS Prolong Tibial Insert 	Tibial Insert, Highly Crosslinked - 	Sizes A - G, 9mm to 20mm	$1,200.00	$1,430.00

UHMWPE (prolong), fixed posterior

ZI586	NexGen Prolong Flex Articulating 	Highly Crosslinked - Ultra high Molecular 	Sizes 1 to 10, 9mm to 23mm	$1,200.00	$1,430.00

Weight Polyethylene - Fixed Bearing -

Prostheses List by Category, Groups and Sponsor	Page 494 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Ri

Johnson & Johnson Medical Pty Ltd

JJ665	PFC Sigma Knee System Tibial Insert	Tibial insert, posterior stabilised, 	Sizes 1-6.  8-30mm	$1,200.00

UHMWPE, with post

JJ666	AMK Tibial Insert	Tibial insert UHMWPE, minimally 	Size 1-5	$1,200.00

stabilised (with separate locking post)

Zimmer Pty Ltd

ZI137	NexGen LCCK Tibial Insert 	Tibial Insert, posterior stabilised, 	10 - 35mm	$1,200.00	$1,250.00

UHMWPE, fixed, with post

Group 5d - Posterior Stabilised, mobile

B Braun Australia Pty Ltd

BB199	Emotion Total Knee System (TKS) 	Tibial Insert, UHMWPE, mobile, posterior	T1 to T8 Sizes: 10 to 24mm	$1,200.00

Tibial Insert 	 stabilised with peg

Biomet Australia Pty Ltd

BI885	ROCC Tibial Insert	Tibial Insert, mobile bearing, rotating 	1-6 (tray size), 10-20mm 	$1,200.00	$1,360.00

platform, UHMWPE	(bearing size)

BI907	TRAC Knee System	Bearing Posterior Stabilised UHMWPE	59 - 91mm	$1,200.00	$1,600.00

Exactech Australia

EX043	Optetrak RBK (Rotating Bearing Knee) 	Tibial Insert, UHMWPE, mobile, posterior	1-6	$1,200.00	$1,500.00

Total Knee System Tibial Insert 	 stabilised

Finsbury Orthopaedics Australia Pty Ltd

FI024	DBK (Dual Bearing Knee) Total Knee 	Tibial Insert, UHMWPE, mobile bearing, 	S/M/L Form, 9-17mm thickness	$1,200.00

System Tibial Insert 	posterior stabilised, using peg

FOL Technology PTY Ltd

FO011	Trekking Knee System, Tibial	Mobile tibial insert	1 - 5 (+0/+7)	$1,200.00

Global Orthopaedic Technology

GO117	RBK Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing, 	Size 0 to 5, 10mm to 20mm thick	$1,120.00

posterior stabilised with peg, separate bolt

fixation that passes down the peg

Johnson & Johnson Medical Pty Ltd

DP270	SROM Noiles Knee System tibial insert	Tibial insert, UHMWPE, posterior 	Xsm-lrg. 10-30mm	$1,200.00

stabilised, rotating platform

Prostheses List by Category, Groups and Sponsor	Page 495 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY457	PFC Sigma Knee System  tibial insert 	Tibial insert, posterior stabilised, rotating 	Sizes  1 - 6.  8-30mm	$1,200.00

platform UHMWPE

Medacta Australia Pty Ltd

MU073	GMK Ultracongruent Mobile Tibial Insert	Ultracongruent Mobile Polyethylene  Insert	size 1 to 6, 10/12/14/17/20mm 	$1,200.00

thickness

Orthotech Pty Ltd

OH235	Optetrak RBK (Rotating Bearing Knee) 	Tibial Insert, UHMWPE, mobile, posterior	1-6	$1,200.00	$1,500.00

Total Knee System Tibial Insert 	 stabilised

Smith & Nephew Surgical Pty Ltd

SN852	Gen II Mobile Bearing PS Insert	Primary Mobile Bearing Posterior 	2-12	$1,200.00

Stabilised Tibia Insert

Stryker Australia Pty Ltd

SR013	Scorpio Knee System Tibial Insert	Posterior stabilised mobile bearing insert, 	10,12,15,18, 21mm thickness; 	$1,200.00	$1,300.00

UHMWPE (N2VAC)	sizews 3,5,7,9,11,13

SR032	Triathlon Knee System Tibial Insert	Posterior stabilised mobile bearing insert, 	1 to 8, 9mm to 22mm	$1,200.00	$1,350.00

UHMWPE (N2VAC)

Tornier Pty Ltd

TO035	HLS Noetos Tibial insert, mobile	Tibial Insert, Mobile, UHMWPE, 	1 to 6, 9, 11 & 13mm	$1,200.00

Posterior Stabilised

Zimmer Pty Ltd

ZI058	NexGen LPS Tibial Insert 	Tibial Insert, posterior stabilised, 	Sizes 9 - 23mm	$1,200.00	$1,250.00

UHMWPE, mobile

ZI587	NexGen Prolong Flex Articulating 	Highly Crosslinked - Ultra high Molecular 	Sizes 1 to 10, 9mm to 23mm	$1,200.00	$1,430.00

Weight Polyethylene - Mobile Bearing -

Ri

Corin Australia Pty Ltd

CR110	Score Knee System Tibial Insert  	Tibial Insert, mobile bearing, posterior 	20 sizes	$1,200.00

stabilised with reinforcement post

Johnson & Johnson Medical Pty Ltd

DY372	LCS Complete Knee System rotating 	Tibial insert, rotating platform with post, 	Sizes small to large+. 10-30mm	$1,200.00

platform tibial insert 	UHMWPE

DY405	PFC Sigma Knee System RPF tibial 	Tibial insert, UHMWPE, rotating platform	Size 1 - 6.  10-30mm	$1,200.00

for high flex with post

Prostheses List by Category, Groups and Sponsor	Page 496 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 5e - Totally Constrained, fixed

Biomet Australia Pty Ltd

BI181	Maxim Complete Knee System Tibial 	Tibial Insert,  UHMWPE, fixed with 	59-91mm	$1,250.00	$1,674.00

Insert  	locking pin, Totally constrained with peg

BI802	Ascent Total Knee System Tibial Insert 	Tibial Insert, totally constrained, fixed 	59, 63/67, 71/75, 79/83, 	$1,250.00	$1,670.00

with locking pin, UHMWPE	87/91mm widths, 10-20mm

BI904	Vanguard Total Knee System	Tibial Bearing, PS, PS+.  UHMWPE	59, 63/67, 71/75, 79/83, 87/91, 	$1,250.00	$1,670.00

widths, 10. 12, 14, 16, 18, 20,

22, 24mm thicknesses

BI939	Vanguard SSK Knee System	Tibial Bearing Insert, PSC, UHMWPE	59-75mm x (10-24mm)	$1,250.00	$1,560.00

Smith & Nephew Surgical Pty Ltd

SM161	Legion Hinge Guided Motion Tibial Insert	This tibial insert is used for the 	Sizes 2-7 11,13,15,18,21mm	$1,250.00

construction of the Legion hinge.

SN340	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, totally 	Left/Right Small- XLarge 10mm	$1,250.00

stabilised with peg	 - 25mm

SN353	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, totally 	Left/Right Constrained Small - 	$1,250.00

stabilised with peg, to be used with 	Xlarge, Crutiate retaining Size 1-

Genesis I baseplate and Tricon Femoral 	8, Post Stabilising Size 1-8,

Tricon/Genisis Small-Xlarge

SN863	Genesis II Knee System Tibial Insert	Tibial insert, UHMWPE, fixed, totally 	Left / Right 1 - 8	$1,250.00

constrained

SN864	Profix Knee System Tibial Insert	Tibial insert, UHMWPE, fixed, totally 	Left / Right 1 - 8	$1,250.00

constrained

Ri

Advanced Surgical Technologies

AD145	Advance Revision Knee System insert	totally constrained, UHMWPE, fixed tibial	1, 2, 3, 4, 5, 6 in 10 - 30mm in 	$1,250.00	$1,508.00

insert with reinforcing peg	2mm increments

Exactech Australia

EX028	Optetrak Total Knee System Tibial 	Tibial Insert, UHMWPE, fixed and totally 	Size 1 - 6	$1,250.00	$1,750.00

stabilised with peg and reinforced with

screw/post fixation (Spine stiffening

Johnson & Johnson Medical Pty Ltd

DP570	AMK Ultra coordinate revision tibial 	Tibial Insert UHMWPE, totally 	Sizes 1-5, 10-30mm	$1,250.00

constrained, with separate locking post

Prostheses List by Category, Groups and Sponsor	Page 497 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ664	PFC Sigma Knee System TC3 Tibial 	Tibial insert, totally constrained, 	Sizes 1-6.  8-30mm	$1,250.00

UHMWPE, with post

LSS Surgical Pty Limited

LS051	Advance Revision Knee System insert	totally constrained, UHMWPE, fixed tibial	1, 2, 3, 4, 5, 6 in 10 - 30mm in 	$1,250.00	$1,508.00

insert with reinforcing peg	2mm increments

Orthotech Pty Ltd

OH025	Optetrak Total Knee System Tibial 	Tibial Insert, UHMWPE, fixed and totally 	Size 1 - 6	$1,250.00	$1,750.00

stabilised with peg and reinforced with

screw/post fixation (Spine stiffening

Stryker Australia Pty Ltd

HW161	Kinemax Knee System Tibial Insert	Totally constrained tibial insert, with 	8, 10, 12, 15, 18, 21, 25mm per	$1,250.00

metal post, UHMWPE (Duration)

SK410	Scorpio Knee System Tibial Insert 	Totally constrained tibial insert, with 	3 - 11 mm 7F/5T, 5F/7T, 	$1,250.00	$1,560.00

metal post, UHMWPE (N2VAC)	11F/9T, 9F/11T10mm-24mm

SK438	Triathlon TS Knee System Tibial Insert 	Totally constrained, TS (Total Stabilizer) 	Tibial Insert Sizes: Left & right 	$1,250.00	$1,430.00

Insert, with metal post, UHMWPE (X3)	9-31mm sizes 1-8Reinforced

Post Sizes 9-31mm

SK439	Triathlon Knee System Tibial Insert 	Totally constrained tibial insert, with 	Tibial Insert Sizes: Left & right 	$1,250.00	$1,560.00

metal post, +/- 2° int/ext rotation, 	9-31mm sizes 1-8

Reinforced Post Sizes 9-31mm

ST024	Scorpio Knee System Tibial Insert	Totally constrained tibial insert, with 	8-24mm for all tibia sizes	$1,250.00	$1,560.00

metal post, UHMWPE (X3)

ST601	Duracon TS Knee System Tibial Insert	Totally constrained tibial insert, with 	Extra Small, Small, Medium, 	$1,250.00	$1,560.00

metal post, UHMWPE (Duration)	Medium Large, Large, Extra

Group 5f - Totally Constrained, mobile

Smith & Nephew Surgical Pty Ltd

SM159	Legion Hinge Rotating Platform Insert	This tibial insert is used for the 	Sizes 2-7 11,13,15,18,21mm	$1,250.00

construction of the Legion hinge.

Zimmer Pty Ltd

ZI307	Nexgen Rotating Hinge Tibial Insert 	Tibial insert for NexGen Rotating Hinge 	12-26mm, sizes B-F	$1,250.00	$1,630.00

prosthesis, UHMWPE, mobile. Includes

hinge locking post.

Prostheses List by Category, Groups and Sponsor	Page 498 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Ri

Biomet Australia Pty Ltd

BI954	AGC Dual Articular Knee System Tibial 	Tibial Insert, UHMWPE, totally 	59 - 83mm, 8 - 20mm Depth	$1,250.00

Insert 	constrained, Rotating, reinforcement post

Johnson & Johnson Medical Pty Ltd

DP257	SROM Noiles Knee System tibial insert	Tibial insert, rotating platform, hinged, 	XXSml - Large	$1,250.00

with metal axis ring incorporated and

polyethylene axis bearings

DY367	PFC Sigma TC3 Knee System  Tibial 	Tibial Insert, totally constrained, mobile 	Size 1.5 to 5 thickness of 10mm	$1,250.00

bearing, UHMWPE, with post	 to 30mm

JJ532	LCS Complete Knee System tibial insert 	Tibial insert, UHMWPE, rotating 	Sizes small to large+. 10-30mm	$1,250.00

platform, totally constrained, with

Knee - Tibial Insert: Uni-Compartmental Knee Arthroplasty

Group 6a - Fixed bearing

B Braun Australia Pty Ltd

BB203	Emotion Unicondylar Knee System Uni 	Uni tibial insert, UHMWPE, fixed	F1 and F5, 7mm-11mm	$790.00

Tibial Insert

Biomet Australia Pty Ltd

BI205	Repicci II Unicondylar Knee System Uni	Uni Tibial insert, fixed , UHMWPE	Std, Large, Xlarge	$790.00

tibial insert

Johnson & Johnson Medical Pty Ltd

JJ660	Preservation Knee System Uni Tibial 	Uni Tibial Insert, Fixed Bearing, UHMWPE	Sizes 1-5. 7-15mm	$790.00

JJ779	Sigma HP Unicompartmental Knee - 	Unicompartmental tibial insert, fixed 	Size 1-6, 7-12mm LM/RL & 	$790.00

Fixed bearing insert	bearing UHMWPE	RM/LL

Mathys Orthopaedics Pty Ltd

MA454	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, fixed 	5,6,7,9	$790.00

Medacta Australia Pty Ltd

MU062	GMK Unicompartmental fixed tibia 	cemented unicompartmental polyethylene 	1 to 5, left and right, 	$790.00

fixed tibial insert	8/9/10/11/12/14mm thiknesses

Prostheses List by Category, Groups and Sponsor	Page 499 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM121	UC (Unicompartment) PLUS Solution 	Uni Tibial Insert, UHMWPE, fixed	40 (8mm, 10mm, 12mm, 	$790.00

Knee System Uni Tibial Insert	14mm), 44 (8mm, 10mm, 12,,

14mm), 48 (8mm, 10mm,

12mm, 14mm), 52 (8mm,

10mm, 12mm, 14mm), 56

SN334	Genesis Uni Tibial Insert	Uni Tibial Insert, UHMWPE, fixed	x-Small-Magnum 8mm-12mm	$790.00

SN837	Journey Knee System Uni Tibial Insert	Uni Tibial Insert, for fixed bearing, 	10-18mm	$790.00

UHMWPE

Stryker Australia Pty Ltd

SK498	Triathlon PKR - X3 Polyethylene Tibial 	Uni tibial insert, X3 polyethylene, fixed	Size 1 to 6, thicknesses from 	$790.00

insert	8mm to 12mm

ST656	UNIX Unicompartmental Knee System 	Uni tibial insert, UHMWPE, Fixed	1, 2, 3, 4 in 8, 10, 12, 15mm	$790.00	$1,456.00

Tibial Insert

Zimmer Pty Ltd

ZI105	Miller Galante  Unicompartmental Insert 	Uni Tibial Insert, UHMWPE, fixed 	8 - 14 mm	$790.00

ZI429	Natural Knee	Unicompartmental - Tibia PE Insert	1,2 x 9mm to 5,6 x 13mm	$790.00	$825.00

Group 6b - Mobile bearing

Biomet Australia Pty Ltd

BI032	Oxford Meniscal Knee System Uni 	Uni Tibial Insert, mobile bearing, 	Small Standard, Large, Xlarge, 	$790.00

Tibial Insert 	sizes 3-9

BI861	Oxford Meniscal Knee System Uni 	Uni Tibial Insert conforming surface, 	(Small - Extra Large) x (3-9)	$790.00

Tibial Insert 	mobile bearing, UHMWPE (Phase III)

Corin Australia Pty Ltd

CR060	Uniglide Uni Knee System Uni Tibial 	Uni tibial insert, mobile bearing, 	Height 4, 5, 6, 7, 8, 9, 10, 11, 	$790.00

12mm; Size 1-4

Johnson & Johnson Medical Pty Ltd

JJ661	Preservation Knee System Uni Tibial 	Uni Tibial Insert, Mobile Bearing, 	Sizes 1-5. 7-15mm	$790.00

Mathys Orthopaedics Pty Ltd

MA455	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, mobile 	5,6,7,9	$790.00	$900.00

MA478	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, mobile 	5, 6, 7, 9	$790.00	$1,100.00

convex for the uni convex tibial baseplate

Prostheses List by Category, Groups and Sponsor	Page 500 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Knee - Tibial Tray Component: Total Knee Arthroplasty

Group 3a - Cemented, all polyethylene

Advanced Surgical Technologies

AD170	Advantim Total Knee System	All Poly Tibial UHMWPE	Small, Medium, Large, Xlarge	$1,250.00

Exactech Australia

EX056	Optetrak Net Compression Molded 	The Exatctech Optetrak Comprehensive 	Size 1 - 9mm, 11mm, 13mm	$1,140.00

Cruciate Retaining All Polyethylene 	Knee System is a knee joint prosthesis 	Size 2 - 9mm, 11mm, 13mm

Tibial Component	intended for use in treating human knee 	Size 3 - 9mm, 11mm, 13mm

joint diseases.  It consists of femoral 	Size 4 - 9mm, 11mm, 13mm

components, tibial components, patella 	Size 5 - 9mm, 11mm, 13mm

components and a variety of optional 	Size 6 - 11mm, 13mm

augmentation blocks and stems.

Twoic models are used to address

specific indications and customer

preferences:  Cruciate Retaining (CR),

Posterior Stabilised (PS), ptetrak tibial

inserts are made of direct-compression

EX057	Optetrak Net Compression Molded 	The Exactech Optetrak Comprehensive 	Size 1 - 9mm, 11mm, 13mm	$1,250.00

Posterior Stabilised All Polyethylene 	Knee System is a knee joint prosthesis 	Size 2 - 9mm, 11mm, 13mm

Tibial Component	intended for use in treating human knee 	Size 3 - 9mm, 11mm, 13mm

joint diseases.  It consists of femoral 	Size 4 - 9mm, 11mm, 13mm

components, tibial components, patella 	Size 5 - 9mm, 11mm, 13mm

components and a variety of optional 	Size 6 - 11mm, 13mm

augmentation blocks and stems.

Twoic models are used to address

specific indications and customer

preferences:  Cruciate Retaining (CR),

Posterior Stabilised (PS), ptetrak tibial

inserts are made of direct-compression

Johnson & Johnson Medical Pty Ltd

JJ589	PFC Sigma Knee System tibial baseplate	All poly UHMWPE, Cemented, pegged	Sizes  1 - 6.  8-30mm	$1,250.00

JJ590	PFC Sigma Knee System Tibial 	All poly UHMWPE, cemented, non 	Sizes  1 - 6.  8-30mm	$1,250.00

LSS Surgical Pty Limited

LS058	Advantim Total Knee System	All Poly Tibial UHMWPE	Small, Medium, Large, Xlarge	$1,250.00

Smith & Nephew Surgical Pty Ltd

SN869	Genesis II Knee System Tibial Baseplate	Tibial Baseplate, all poly, cemented	Left / Right 1 - 8	$1,250.00

SN870	Profix Knee System Tibial Baseplate	Tibial Baseplate, all poly, cemented	Left / Right 1 - 8	$1,250.00

Prostheses List by Category, Groups and Sponsor	Page 501 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

HW095	Duracon Knee System Tibial Baseplate 	Tibial baseplate, All UHMWPE, cemented 	Small, Medium, Large, Extra-	$1,250.00

ST647	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, All UHMWPE, cemented 	3, 5, 7, 9, 11, 13	$1,250.00

Zimmer Pty Ltd

ZI127	NexGen Knee Tibial Baseplate	Baseplate All Poly, cemented, UHMWPE	1 - 10	$1,250.00	$1,300.00

Group 3b - Cemented, Alloy

Advanced Surgical Design & Manufacture Ltd

AE040	Active Knee Tibial Baseplate	Tibial baseplate, Cemented, CoCr	Sizes 1-5 	$2,150.00

Advanced Surgical Technologies

AD135	Advance Total Knee System	Tibial component, CoCr, cemented	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+,	$2,150.00

AD192	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, 	Small, Small Plus, Medium, 	$2,150.00

cemented, non beaded CoCr	Medium Plus, Large, Large Plus,

Xlarge

Dj Orthopaedics Pty Ltd

DD019	3D Knee System Tibial Baseplate 	Tibial Baseplate, cemented, CoCr	Size 1 to 12	$2,150.00	$2,600.00

ESKA Australia

EK025	ST Tibial Baseplate 	Tibial baseplate   cemented, CoCr 	s-small, small, medium, large, x-	$2,150.00

large

Finsbury Orthopaedics Australia Pty Ltd

FI010	MRK (Medial Rotation Knee) Total Knee	Tibial Baseplate, cemented, Titanium for 	1-5	$2,150.00

System Tibial Baseplate 	fixed insert

FI054	Saiph Knee System Tibial Component 	CoCr Tibial Component, Cemented	A - F, Standard and Long Stem	$2,150.00

Cemented

FOL Technology PTY Ltd

FO016	Trekking Knee System, Tibial 	Tibial component cemented	1 - 5	$2,150.00

Global Orthopaedic Technology

GO194	APEX Knee Reconstruction System, 	Tibial Baseplate, Cemented, Non-Porous, 	Size 1 Left & Right, size 2 Left 	$2,150.00

Tibial Baseplate, Cemented, Non-Porous	Size 1 - 7 Left & Right	& Right, size 3 Left & Right,

size 4 Left & Right, size 5 Left

& Right, size 6 Left & Right,

size 7 Left & Right.

Prostheses List by Category, Groups and Sponsor	Page 502 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LSS Surgical Pty Limited

LS043	Advance Total Knee System	Tibial component, CoCr, cemented	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+,	$2,150.00

LS072	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, 	Small, Small Plus, Medium, 	$2,150.00

cemented, non beaded CoCr	Medium Plus, Large, Large Plus,

Xlarge

Mathys Orthopaedics Pty Ltd

MA109	BalanSys Tibial Baseplate 	Tibial Baseplate for fixed bearing insert,  	ML/AP Dimensions: 	$2,150.00

cemented, CoCr	64/70/75/80/85

MA488	BalanSys Tibial Baseplate 	Tibial Baseplate for  posterior stabilised 	ML/AP Dimensions: 	$2,150.00	$2,400.00

fixed insert only, cemented, CoCr	64/70/75/80/85

MA491	Balansys Tibia Baseplate / Tibial 	Balansys Tibial Baseplate/ Tibial Baseplate	64-85	$2,150.00	$2,650.00

Baseplate for CR fixed bearing insert 	 for CR fixed bearing insert only,

only, cemented, Co,Cr, TiNbN coated	cemented, CoCrMo, TiNbN coated

MA492	Balansys Tibial Baseplate? Tibial 	Balansys Tibial Baseplate? Tibial Baseplate	64 - 85	$2,150.00	$2,900.00

Baseplate for posterior stabilised fixed 	 for posterior stabilised fixed insert only,

insert only, cemented, CoCr, TiNbN 	cemented, CoCrMo, TiNbN coated

Medacta Australia Pty Ltd

MU075	GMK Cemented fixed Tibia Tray	Asymmetric polished cemented fixed 	1 to 6, left to right	$2,150.00

tibial component

Smith & Nephew Surgical Pty Ltd

SM065	VKS (Vario) Knee System Tibial 	Tibial Baseplate, CoCr, Cemented, for 	1-12	$2,150.00

fixed insert

SN354	Genesis Knee System Tibial Baseplate	Tibial Baseplate, cemented, titanium	Left/Right Small- Magnum 	$2,150.00

8mm-15mm

SN848	Journey Knee System Tibial Baseplate	Tibial baseplate, cemented, Titanium, for 	Sizes 1-8, Left and Right	$2,150.00

fixed insert

SN857	Genesis II Knee System Tibial Baseplate	Tibial Baseplate, cemented, Titanium, grit 	1 - 9	$2,150.00

blasted

SN858	Profix Knee System Tibial Baseplate	Tibial Baseplate, cemented, Titanium, grit 	1 - 8	$2,150.00

blasted

Stryker Australia Pty Ltd

HW087	Duracon Knee System Tibial Baseplate 	Tibial baseplate, cemented, cruciform 	Small, Medium, Large, Extra-	$2,150.00

stem, CoCr (Vitallium)

HW154	Kinemax Knee System Tibial Baseplate 	Tibial baseplate, cemented, CoCr 	XS, S, M, L, XL	$2,150.00

SK327	Triathlon Knee System Tibial Baseplate	Tibial baseplate, cemented, CoCr  	Sizes 1 to 8	$2,150.00

Prostheses List by Category, Groups and Sponsor	Page 503 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST066	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, cemented, CoCr 	3, 5, 7, 9, 11, 13	$2,150.00

Tornier Pty Ltd

TO034	HLS Noetos Tibial Baseplate, Fixed	Tibial Baseplate/Tray, Cemented, Fixed 	Size 1 to 6	$2,150.00

Bearing, CoCr

Zimmer Pty Ltd

ZI413	Natural Knee Tibial Baseplate 	Tibial Baseplate, Cemented - Titanium for	Size 00 to 5	$2,150.00	$2,340.00

fixed inserts

ZI435	SAL Knee	Tibial Baseplate - CoCr alloy	60/AOA to 92/E	$2,150.00	$2,400.00

ZI595	NexGen Knee Tibial Components 	Option - Titanium	1 to 10	$2,250.00	$2,360.00

Stemmed - Option

ZI608	Natural Knee II Modular Cemented 	Modular Cemented Baseplate	Sizes 00, 0, 1,2,3,4, 5 - Left and	$2,150.00	$3,650.00

Tibial Baseplate	 Right

Rev

Advanced Surgical Technologies

AD147	Advance Revision Knee System	Revision tibial component,  titanium, 	0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5,	$3,650.00

cemented	 5+, 6

AD218	Advance Total Knee System	Revision tibial component, titanium, 	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ 	$3,650.00	$4,368.00

cemented with offset stem	in Left & Right

B Braun Australia Pty Ltd

BB204	Columbus Total Knee System (TKS) 	Tibial baseplate, cemented, CoCr for 	T1 to T5	$3,650.00

Tibial Baseplate 	fixed insert

Biomet Australia Pty Ltd

BI169	Biomet Universal Tibial Baseplate 	Tibial baseplate, Cemented, Titanium, 	59-91mm	$3,650.00

which allows for attachmnet of a variety

of different stems and for fixed inserts

BI177	Biomet Universal Stemmed Tibial 	Tibial Baseplate, titanium, cemented	59-91mm	$3,650.00

Component

BI182	Biomet Universal Tibial Baseplate 	Tibial baseplate, Cemented, Titanium, 	59-91mm	$3,650.00

with extended stem connector that allows

for attachment of a variety of different

stems and for fixed inserts

BI811	Offset Tibial Tray System 	Tibial baseplate, Cemented, Titanium, 	59-91mm	$3,650.00

which allows for attachment of the offset

Prostheses List by Category, Groups and Sponsor	Page 504 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Exactech Australia

EX032	Optetrak Total Knee System, Tibial 	Tibial Baseplate, titanium, fixed insert, 	Size 1-6	$2,150.00

Baseplate	cemented

EX036	Optetrak Total Knee System, Tibial 	Tibial Baseplate, titanium, fixed insert 	Size 1-6	$2,150.00

Baseplate	(finned, trapezoid, offset with locking

screw), cemented

Johnson & Johnson Medical Pty Ltd

DY467	PFC Sigma Knee System tibial baseplate	Tibial baseplate, cemented, keeled, 	Size 1-6	$3,650.00

Titanium, standard and offset keels with

capacity for augment and stem

JJ510	PFC Sigma Knee System tibial baseplate	Tibial baseplate, cemented, keeled, forged	Size 1-6	$3,650.00

CoCr, polished tibial insert surface

JJ662	PFC Sigma Knee System Tibial 	Tibial baseplate, cemented, keeled, 	Size 1-6	$2,150.00

titanium, with capacity for stem

JJ663	PFC Sigma Knee System Tibial 	Tibial baseplate, cemented, cruciform 	Size 1-6	$2,150.00

keeled, titanium

LSS Surgical Pty Limited

LS053	Advance Revision Knee System	Revision tibial component,  titanium, 	0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5,	$3,650.00

cemented	 5+, 6

LS081	Advance Total Knee System	Revision tibial component, titanium, 	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ 	$3,650.00	$4,368.00

cemented with offset stem	in Left & Right

Medacta Australia Pty Ltd

MU030	Evolis Knee System Tibial baseplate  	Tibial baseplate, cemented, titanium for 	1 - 6	$3,650.00

fixed insert

Orthotech Pty Ltd

OH329	Optetrak Total Knee System, Tibial 	Tibial Baseplate, titanium, fixed insert, 	Size 1-6	$2,150.00

Baseplate	cemented

OH330	Optetrak Total Knee System, Tibial 	Tibial Baseplate, titanium, fixed insert 	Size 1-6	$2,150.00

Baseplate	(finned), cemented

Smith & Nephew Surgical Pty Ltd

SM100	TC (Tri Compartment) PLUS Knee 	Tibial Baseplate, CoCr, Cemented, for 	2 - 10	$3,650.00

System Tibial Baseplate	fixed insert

SN824	Legion Knee System Tibial Baseplate	Tibial baseplate, cemented, Titanium, for 	1-8	$3,650.00

fixed insert,

Prostheses List by Category, Groups and Sponsor	Page 505 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SR034	Triathlon TS Knee System Tibial 	Tibial baseplate, stemmed revision, 	1 to 8	$3,650.00

cemented, CoCr

SR080	Duracon Knee System Stemmed 	Stemmed revision baseplate, CoCr, 	XS1, XS2, S1, S2, M1, M2,  	$3,650.00	$3,800.00

Revision Baseplate	(Vitallium). Cemented, Fixed	L1, L2, Xl1, Xl2

ST034	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, cemented, ability to 	3,5,7,9,11,13	$3,650.00

attach stems, CoCr

Tornier Pty Ltd

TO026	HLS Noetos Revision Tibial Baseplate 	Tibial Tray, CoCr, cemented, 	1 to 6	$3,650.00

Rev, H

Smith & Nephew Surgical Pty Ltd

SM092	RT (Rotating Hinge) PLUS Knee System	Tibial Baseplate, CoCr, cemented, for 	0-10	$4,150.00

Tibial Baseplate	fixed insert

Stryker Australia Pty Ltd

HW141	MRH (Modular Rotating Hinge) Tibial 	MRH Tibial baseplate, CoCr (Vitallium), 	Small, Medium, Large	$4,150.00

Baseplate	fixed insert with central hole for hinged

insertion, w/attachable stem

Group 3c - Cemented, Alloy,  PMMA coating

Zimmer Pty Ltd

ZI073	Insall-Burstein II Tibial Baseplate 	Tibial baseplate cemented, titanium, 	54 - 74mm	$2,250.00	$2,360.00

PMMA coating, for fixed insert

ZI102	Miller Galante II Tibial Baseplate 	Tibial Baseplate, PMMA, Titanium, 	A - K	$2,250.00	$2,360.00

cemented, for fixed insert

ZI122	NexGen Tibial Baseplate  	Pegged Tibial Baseplate, cemented, for 	1  - 10	$2,250.00	$2,360.00

fixed insert, titanium, PMMA coated

ZI126	NexGen Knee Tibial Baseplate 	Stemmed AP wedged tibial baseplate, 	1 - 10	$2,250.00	$2,360.00

cemented, for fixed insert, titanium,

PMMA coated

ZI594	NexGen Knee Tibial Components 	Precoat - Titanium	1 to 10	$2,250.00	$2,360.00

Stemmed - Precoat

Prostheses List by Category, Groups and Sponsor	Page 506 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 3d - Cemented, Alloy, Moulded polyethylene

Biomet Australia Pty Ltd

BI153	AGC Knee System Tibial  Baseplate 	Tibial baseplate, CoCr,  Moulded, V2 	63-91mm	$3,150.00

(version 2), UHMWPE, cemented

BI810	Vanguard  Complete Knee System	Tibial bearing & tray, ' Mono Lok' 	59 -91mm	$3,150.00

Cruciate Retaining or Posterior Stabilised,

CoCr UHMWPE

Group 3f - Cemented, Alloy, for mobile insert

Advanced Surgical Design & Manufacture Ltd

AE044	Active Knee Mobile Tibial Tray 	Tibial Tray, mobile,  Cemented, CoCr	Sizes 1-5	$2,400.00

B Braun Australia Pty Ltd

BB201	Emotion Total Knee System (TKS) 	Tibial baseplate, cemented, CoCr, with 	T1 to T8, left and right	$2,400.00

Tibial Baseplate 	polished insert surface for mobile insert

Biomet Australia Pty Ltd

BI196	Vanguard Rotating Platform Tibial 	Tibial Baseplate Chrome Cobalt	63-87mm	$2,400.00	$2,901.00

Baseplate

BI894	ROCC Tibial Baseplate 	Tibial Baseplate, cemented, CoCr for 	1-8	$2,400.00	$2,900.00

mobile insert

ESKA Australia

EK050	RP (Rotating Platform)Tibial baseplate 	Tibial Baseplate cemented for mobile 	S - Small - Small - Medium - 	$2,400.00	$2,600.00

insert  CoCr	Large - X-Large

Exactech Australia

EX040	Optetrak RBK (Rotating Bearing Knee) 	Tibial Baseplate, titanium with polished 	1-6	$2,400.00	$2,800.00

Tibial Baseplate 	insert surface, cemented, for a mobile

Finsbury Orthopaedics Australia Pty Ltd

FI007	DBK (Dual Bearing Knee) Total Knee 	Tibial baseplate, CoCr, cemented, with 	1-6	$2,400.00

System Tibial Baseplate 	polished insert surface for mobile bearing

insert

FOL Technology PTY Ltd

FO013	Trekking Knee System, Tibial	Mobile tibial tray, cemented	1 - 5	$2,400.00

Prostheses List by Category, Groups and Sponsor	Page 507 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO003	RBK Total Knee System Tibial Baseplate	Tibial baseplate, grit blast, CoCr, 	0 - 5	$2,400.00	$3,692.00

cemented, for mobile bearing insert

GO155	RBK Universal Knee System Tibial 	Tibial Baseplate, short keel,  cemented, 	1 - 5	$2,400.00	$3,692.00

Baseplate 	CoCr, for mobile insert

Johnson & Johnson Medical Pty Ltd

DP032	MBT Knee System tibial baseplate 	Tibial baseplate, cemented, CoCr, for 	Sizes 1 - 7	$2,400.00

rotating platform, (keeled and non keeled)

DP235	LCS Classic and Universal Knee System	Tibial baseplate, CoCr, cemented for 	Sizes small to large+	$2,400.00

tibial baseplate	rotating platform

Mathys Orthopaedics Pty Ltd

MA312	Balansys Tibial Baseplate	Tibial baseplate for Mobile Bearing insert, 	ML/AP Dimensions: 	$2,400.00	$2,600.00

cemented, CoCr	64/70/75/80/86

Medacta Australia Pty Ltd

MU047	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, cemented, with polished 	Sizes 1 to 7, Left and Right	$2,400.00

insert surface for mobile insert

MU077	GMK Mobile Cemented Tibia Tray	Asymmetric mobile cemented tibial 	1 to 6, left to right	$2,400.00

component

Orthotech Pty Ltd

OH236	Optetrak RBK (Rotating Bearing Knee) 	Tibial Baseplate, titanium with polished 	1-6	$2,400.00	$2,800.00

Tibial Baseplate 	insert surface, cemented, for a mobile

Smith & Nephew Surgical Pty Ltd

SM030	TC (Tri Compartment) PLUS Knee 	Tibial Baseplate, CoCr, Cemented for 	2 to 12	$2,400.00

System Tibial Baseplate	mobile insert, polished insert surface

SN369	Mobile Bearing Knee System Tibial 	Tibial baseplate, cemented, CoCr, 	Left & Right, Size 1-8	$2,400.00

Baseplate	polished insert surface, for mobile insert,

Stryker Australia Pty Ltd

SR030	Triathlon Knee System Tibial Baseplate 	Mobile bearing, tibial baseplate, cemented,	1 to 8	$2,400.00	$2,800.00

CoCr

ST069	Scorpio Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, cemented, 	3, 5, 7, 9, 11, 13	$2,400.00

CoCr

ST913	Duracon ISA Knee System Tibial 	Mobile bearing tibial baseplate, cemented, 	Small, medium, large, X-large	$2,400.00

CoCr (Vitallium)

Prostheses List by Category, Groups and Sponsor	Page 508 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Tornier Pty Ltd

TO033	HLS Noetos Tibial Baseplate, mobile	Tibial Baseplate/Tray, Cemented, Mobile 	Size 1 to 6	$2,400.00

Bearing, CoCr

Zimmer Pty Ltd

ZI503	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$2,400.00

Non Porous - CoCr alloy

CS

Medacta Australia Pty Ltd

MU048	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, cemented, titanium, with	Sizes 1 to 7, Left and Right	$2,400.00

TiNi (TiNibN) surface coating of insert

surface for mobile insert

CS, Rev

Endotec Australia Pty Ltd

EA009	Buechel-Pappas Ultracoat Total Knee 	Tibial Baseplate, cemented, Titanium, 	1-6(inc)	$2,400.00

Replacement System Tibial Baseplate 	TiNi Insert surface treated, for a mobile

Rev

B Braun Australia Pty Ltd

BB253	Columbus Total Knee System (TKS) 	Tibial Baseplate, Cemented, CoCr for 	T1- T5	$3,900.00

Tibial Baseplate 	mobile insert, polished insert surface

Corin Australia Pty Ltd

CR106	Score Knee System Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr, 	7 Sizes	$3,900.00

polished insert surface for mobile insert

Endotec Australia Pty Ltd

EA016	Buechel-Pappas Ultracoat Total Knee 	Tibial Baseplate, cemented, Titanium, 	BP TKR Cemented Revision 	$3,900.00	$4,450.00

Replacement System Tibial Baseplate 	TiNi Inserts and bone surface treatment	tibial sizes 1-6(inc)

Global Orthopaedic Technology

GO115	RBK Total Knee System Tibial Baseplate	Tibial Baseplate, for mobile insert, CrCo, 	Size 00 to 5	$3,900.00

cemented

Johnson & Johnson Medical Pty Ltd

JJ634	LCS Complete Knee System - MBT 	Thick Tibial Tray	1 to 6	$3,900.00	$5,400.00

Revision Thick Tray

JJ804	MBT Revision Thick Tibial Tray	Tibial Tray	Size range 2 to 5.  Tray 	$3,900.00	$5,950.00

Thickness of 25mm

Prostheses List by Category, Groups and Sponsor	Page 509 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Rev, H

Johnson & Johnson Medical Pty Ltd

DP259	SROM Noiles Knee System femoral 	Tibial baseplate, CoCr, cemented, for 	Sizes xxsmall-large	$4,400.00

component 	rotating platform insert

DY151	MBT Knee System Revision Tibial base 	Tibial baseplate, cemented, CoCr, for 	Sizes 1-7	$4,400.00

Plate 	rotating platform, also usable with

specific hinged insert

Smith & Nephew Surgical Pty Ltd

SM160	Legion Hinge Tibial Baseplate	A tibial baseplate used for the Legion 	Size 2 to 7 Left, Right	$4,150.00

Hinge system.

Zimmer Pty Ltd

ZI308	Nexgen Rotating Hinge Tibial Baseplate 	Stemmed Tibial Baseplate with polished 	1-6	$4,400.00

tibial insert surface, cemented, PMMA

coated for Nexgen rotating hinged

Group 3g - Cemented, Alloy, for mobile insert, PMMA coating

Zimmer Pty Ltd

ZI061	NexGen Tibial Baseplate  	Tibial baseplate, cemented, CoCr, with 	Sizes 1 - 10	$2,500.00	$2,915.00

PMMA coating for mobile insert

ZI129	NexGen Legacy Knee Tibial Baseplate 	Tibial baseplate, cemented, CoCr, with 	1 - 10	$2,500.00	$2,915.00

PMMA coating for legacy posterior

stabilised mobile insert

ZI415	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$2,500.00	$2,915.00

Non Porous - CoCr alloy

Group 3h - Uncemented, Alloy

Advanced Surgical Technologies

AD193	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, 	Small, Small Plus, Medium, 	$2,300.00

uncemented and beaded CoCr	Medium Plus, Large, Large Plus,

Xlarge

Biomet Australia Pty Ltd

BI170	Maxim Complete Knee System Tibial 	Tibial baseplate, uncemented, Titanium 	59-91mm	$2,300.00	$2,460.00

Baseplate 	plasma sprayed surface (Porous plasma

spray PPS)

Prostheses List by Category, Groups and Sponsor	Page 510 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI977	Regenerex Tibial Tray	Tibial Baseplate, modular. Regenerex 	59, 63, 67, 71, 75, 79, 83 mm	$2,300.00	$3,750.00

porous coat, Ti Alloy

Dj Orthopaedics Pty Ltd

DD020	3D Knee System Tibial Baseplate 	Tibial Baseplate, uncemented,  beaded, 	Size 1 to 12	$2,300.00	$3,536.00

CoCr and Titanium

FOL Technology PTY Ltd

FO017	Trekking Knee System, tibial component	Tibial component uncemented	1 - 5	$2,300.00

LSS Surgical Pty Limited

LS073	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, 	Small, Small Plus, Medium, 	$2,300.00

uncemented and beaded CoCr	Medium Plus, Large, Large Plus,

Xlarge

Smith & Nephew Surgical Pty Ltd

SM066	VKS (Vario) Knee System Tibial 	Tibial Baseplate, CoCr, uncemented, 	1-12	$2,300.00

Titanium Plasma Spray (Vacuum spray

and triple layer), for fixed insert

SN356	Genesis Knee System Tibial Baseplate	Tibial Baseplate, uncemented, CoCr, 	Left/Right Small - Magnum	$2,300.00

beaded, for fixed insert

SN859	Genesis II Knee System Tibial Baseplate	Tibial Baseplate, cementless, titanium, 	Left / Right 1-8	$2,300.00

beaded, for fixed insert

SN860	Profix Knee System Tibial Baseplate	Tibial Baseplate, cementless, titanium, 	Left / Right 1-8	$2,300.00

beaded, for fixed insert

Stryker Australia Pty Ltd

HW086	Duracon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, 	Small, Medium, Large, Extra-	$2,300.00

CoCr (Vitallium)

SK388	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, 	Sizes 1 to 8	$2,300.00	$2,652.00

ST029	Scorpio Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded 	3,5,7,9,11,13	$2,300.00

(microstructure), CoCr

Zimmer Pty Ltd

ZI086	Stemmed Tibial Tray:Porous	Ti	A - K	$2,300.00	$2,395.00

ZI103	Miller Galante II Tibial Baseplate 	Tibial Baseplate, titanium, fibre metal 	A - K	$2,300.00	$2,395.00

mesh ingrowth, uncemented for fixed

ZI104	Miller Galante II Tibial Baseplate 	Tibial Baseplate, titanium, uncemented, 	A - K	$2,300.00	$2,395.00

fibre metal mesh ingrowth, for fixed insert

ZI120	NexGen Tibial Baseplate 	Pegged tibial baseplate,  uncemented, 	1  - 10	$2,300.00	$2,395.00

titanium fibre metal mesh for fixed insert

Prostheses List by Category, Groups and Sponsor	Page 511 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI412	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  Cancellous	Size 00 to 5	$2,300.00	$2,395.00

structure Titanium ingrowth surface for

fixed inserts

ZI569	Nexgen Trabecular Metal Tibial Tray	Nexgen Trabecular Metal Tibial Tray	sizes 2, 3, 4, 5, 6, 7 & 8	$2,300.00	$3,750.00

Rev

Advanced Surgical Technologies

AD183	Advance Total Knee System	Tibial component, beaded, titanium	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+,	$3,800.00

AD190	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem 	Small, Small Plus, Medium, 	$3,800.00

Thickened Base (beaded)	Medium Plus, Large, Large Plus,

Xlarge

AD191	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem, medial 	Small, Small Plus, Medium, 	$3,800.00

or lateral wedged base (beaded) Titanium	Medium Plus, Large, Large Plus,

Xlarge

B Braun Australia Pty Ltd

BB231	Columbus Total Knee System (TKS) 	Tibial Baseplate, uncemented, CoCr for 	T1 - T5	$3,800.00

Tibial Baseplate 	fixed insert

LSS Surgical Pty Limited

LS065	Advance Total Knee System	Tibial component, beaded, titanium	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+,	$3,800.00

LS070	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem 	Small, Small Plus, Medium, 	$3,800.00

Thickened Base (beaded)	Medium Plus, Large, Large Plus,

Xlarge

LS071	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem, medial 	Small, Small Plus, Medium, 	$3,800.00

or lateral wedged base (beaded) Titanium	Medium Plus, Large, Large Plus,

Xlarge

Medacta Australia Pty Ltd

MU040	Evolis Knee System Tibial baseplate  	Tibial baseplate, uncemented, titanium 	1 -6	$3,800.00

with titanium plasma spray, for fixed

Stryker Australia Pty Ltd

SR081	Duracon Knee System Stemmed 	Stemmed revision baseplate, CoCr, 	S1, S2, M1, M2, L1, L2 XL1, 	$3,800.00	$3,905.00

Revision Baseplate	(Vitallium), uncemented, beaded, with

screw holes for screw fixation, fixed

Zimmer Pty Ltd

ZI123	NexGen Tibial Baseplate 	Stemmed tibial baseplate,  uncemented, 	1  - 10	$3,800.00

titanium fibre metal mesh for fixed insert

Prostheses List by Category, Groups and Sponsor	Page 512 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI416	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  with fixed 	0 to 5	$3,800.00

long stems and capacity to attach

augments, Cancellous structure Titanium

ingrowth surface for fixed inserts

Group 3i - Uncemented, Alloy,  HA coating

Advanced Surgical Design & Manufacture Ltd

AE043	Active Knee Tibial Baseplate	Tibial baseplate, uncemented, beaded with	Sizes 1-5 	$2,700.00

HA, Titanium

AE099	Active Knee Tibial Baseplate 	Tibial Baseplate, HA, uncemented, 	Sizes 1 to 5 (A-Narrow & B-	$2,700.00	$3,200.00

beaded, stemmed , CoCr

Biomet Australia Pty Ltd

BI186	Maxim Complete Knee System Tibial 	Tibial baseplate, uncemented, Titanium 	59 - 91mm	$2,700.00	$2,846.00

Baseplate 	plasma sprayed surface (Porous plasma

spray PPS) with HA

BI961	Tibial Tray System	Tibial Tray System - Primary, one piece, 	59-91	$2,700.00

highly polished, uncemented, HA, plasma

porous coated

ESKA Australia

EK026	ST Tibial Baseplate 	Tibial Baseplate, uncemented, Spongiousa	s-small, small, medium, large, x-	$2,700.00

metal, titanium and CoCr	large

Finsbury Orthopaedics Australia Pty Ltd

FI011	MRK (Medial Rotation Knee) Total Knee	Tibial Baseplate, uncemented, Titanium 	1-5	$2,700.00

System Tibial Baseplate 	with stippled surface titanium plasma

spray HA coated

FI055	Saiph Knee System Tibial Component 	CoCr Tibial Component, Porous Titanium	A - F, Standard an Long Stem	$2,700.00

Cementless	 and HA

Global Orthopaedic Technology

GO193	APEX Knee Reconstruction System, 	Tibial Baseplate, Cementless, Porous 	Size 1 Left & Right, size 2 Left 	$2,700.00	$3,650.00

Tibial Baseplate, Cementless, Porous 	Coated HA, With & Without Holes, Size 1	& Right, size 3 Left & Right,

Coated HA With & Without Holes	 to 6, Left & Right.	size 4 Left & Right, size 5 Left

& Right, size 6 Left & Right.

Johnson & Johnson Medical Pty Ltd

DP891	AMK Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, 	Size 1-5	$2,700.00

beaded, HA (Duofix), for fixed insert

Prostheses List by Category, Groups and Sponsor	Page 513 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU067	GMK Uncemented Fixed Tibia Tray	Asymmetric uncemented fixed tibial 	1 to 6, left and right	$2,700.00

component

Smith & Nephew Surgical Pty Ltd

SN861	Genesis II Knee System Tibial Baseplate	Tibial baseplate, cementless, titanium, 	Left / Right 1 - 8	$2,700.00

beaded, HA for fixed insert

SN862	Profix Knee System Tibial Baseplate	Tibial baseplate, cementless, titanium, 	Left / Right 1 - 8	$2,700.00

beaded, HA for fixed insert

Stryker Australia Pty Ltd

HW088	Duracon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, 	Small, Medium, Large, Extra-	$2,700.00

cruciform stem, with PA

(Hydroxyapatite), CoCr (Vitallium)

SK326	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded with	Sizes 1 to 8	$2,700.00

PA (Hydroxyapatite), without screw

holes, CoCr

SK433	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded with	1-8	$2,700.00

PA (Hydroxyapatite), with screw holes,

ST031	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded 	3,5,7,9,11,13	$2,700.00

(microstructure) with PA

(Hydroxyapatite), ability to add screws,

ST648	Scorpio Knee System & S7000 Tibial 	Tibial baseplate, uncemented, with 	3, 5, 7, 9, 11, 13	$2,700.00

Baseplate 	Hydroxyapatite, CoCr

Zimmer Pty Ltd

ZI121	NexGen Tibial Baseplate 	Pegged tibial baseplate,  uncemented, 	1  - 10	$2,700.00	$2,815.00

titanium fibre metal mesh, with HA/TCP

for fixed insert

ZI124	NexGen Tibial Baseplate 	Stemmed tibial baseplate,  uncemented, 	1  - 10	$2,700.00	$2,815.00

titanium fibre metal mesh, with HA/TCP

for fixed insert

Rev

Advanced Surgical Technologies

AD276	Advance HA Coated Tibial Base	Tibial component, beaded, titanium, HA	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+,	$2,700.00

LSS Surgical Pty Limited

LS119	Advance HA Coated Tibial Base	Tibial component, beaded, titanium, HA	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+,	$2,700.00

Prostheses List by Category, Groups and Sponsor	Page 514 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 3j - Uncemented, Alloy, Moulded polyethylene

Biomet Australia Pty Ltd

BI863	AGC Knee System Tibial  Baseplate 	Tibial baseplate, titanium, Moulded, V2 	(63-91) x (8-22)mm	$3,300.00

(version 2), uncemented with titanium

plasma sprayed surface (Porous plasma

Zimmer Pty Ltd

ZI295	NexGen Porous Tantalum Tibial 	One piece Trabecular Metal (Tantalum) 	Sizes 3 - 8, Height 10mm - 17mm	$3,300.00	$4,540.00

Baseplate and Insert	Tibial Baseplate and Insert UHMWPE

(minimal and posterior constrained)

Group 3l - Uncemented, Alloy, for mobile insert

ESKA Australia

EK045	RP (Rotating Platform)Tibial baseplate 	Tibial Baseplate uncemented (spongiosa 	S-Small-Small-Medium-Large-	$2,950.00

metal), titanium and CoCr, for mobile 	X-Large

FOL Technology PTY Ltd

FO012	Trekking Knee System, Tibial	Mobile tibial tray, uncemented	1 - 5	$2,900.00

Global Orthopaedic Technology

GO004	RBK Total Knee System Tibial Baseplate	Tibial baseplate, CoCr, beaded, 	1-5	$2,950.00	$3,900.00

uncemented, for mobile bearing insert

GO156	RBK Universal Knee System Tibial 	Tibial Baseplate, short keel,  uncemented, 	1 - 5	$2,950.00	$3,900.00

Baseplate 	CoCr, beaded, for mobile insert

Johnson & Johnson Medical Pty Ltd

DP031	MBT Knee System tibial baseplate 	Tibial baseplate, uncemented, CoCr, 	Sizes 1 - 7	$2,950.00

beaded (Porocoat) for rotating platform,

(keeled and non keeled)

Mathys Orthopaedics Pty Ltd

MA460	Balansys Tibial Baseplate	Tibial Baseplate for Mobile Bearing insert,	64/8mm - 85/15.5mm	$2,950.00	$3,300.00

Uncemented, CoCr

Smith & Nephew Surgical Pty Ltd

SM068	VKS (Vario) Knee System Tibial 	Tibial Baseplate, CoCr, uncemented, 	1-12	$2,950.00

Titanium Plasma Spray (Vacuum spray

and triple layer), for mobile insert (SB

(Self aligning bearing))

Prostheses List by Category, Groups and Sponsor	Page 515 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN370	Mobile Bearing Knee System Tibial 	Tibial baseplate, uncemented, beaded, 	Left & Right, Size 1-8	$2,950.00

Baseplate	HA, CoCr, polished insert surface, for

mobile insert,

Zimmer Pty Ltd

ZI414	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  with fixed 	Size 00 to 5	$2,950.00

long stems and capacity to attach

augments, Cancellous structure Titanium

ingrowth surface for mobile inserts

CS

Endotec Australia Pty Ltd

EA008	Buechel-Pappas Ultracoat Total Knee 	Tibial Baseplate, uncemented, beaded, 	1-6(inc)	$2,950.00	$3,650.00

Replacement System Tibial Baseplate 	Titanium, TiNi Insert and bone ingrowth

surface treated, for a mobile insert

Johnson & Johnson Medical Pty Ltd

DY377	MBT knee system tibial baseplate 	Tibial baseplate, uncemented, Titanium, 	Sizes 1 - 7	$2,950.00

TiN, beaded (Porocoat) for rotating

platform, (non keeled only)

Rev

B Braun Australia Pty Ltd

BB254	Columbus Total Knee System (TKS) 	Tibial Baseplate, uncemented,CoCr, 	T1- T5	$4,300.00

Tibial Baseplate 	Titanium plasma spray (Plasmapore),

polished insert surface for mobile insert

Endotec Australia Pty Ltd

EA015	Buechel-Pappas Ultracoat Total Knee 	Tibial Baseplate, uncemented, beaded, 	1-6(inc)	$4,300.00	$5,300.00

Replacement System Tibial Baseplate 	Titanium, TiNi Insert and bone ingrowth

surface treated, for a mobile insert

Group 3m - Uncemented, Alloy, for mobile insert, HA coating

Advanced Surgical Design & Manufacture Ltd

AE045	Active Knee Mobile Tibial Tray 	Tibial Tray, mobile,  uncemented, beaded,	Sizes 1-5	$3,350.00

with HA, CoCr

B Braun Australia Pty Ltd

BB233	Emotion Total Knee System (TKS) 	Tibial baseplate, uncemented, CoCr, 	T1 - T8	$3,350.00

Tibial Baseplate 	Titanium plasma spray (Plasmapore) with

polished insert surface, HA coated for

Prostheses List by Category, Groups and Sponsor	Page 516 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biomet Australia Pty Ltd

BI900	ROCC Tibial Baseplate 	Tibial Baseplate, uncemented, Titanium 	1-8	$3,350.00	$4,180.00

plasma sprayed surface (Porous plasma

spray PPS) with HA for mobile insert

Finsbury Orthopaedics Australia Pty Ltd

FI008	DBK (Dual Bearing Knee) Total Knee 	Tibial Baseplate, uncemented, CoCr with 	1-6	$3,350.00

System Tibial Baseplate 	stippled surface titanium plasma spray HA

coated

Global Orthopaedic Technology

GO005	RBK Total Knee System Tibial Baseplate	Tibial baseplate, CoCr,  uncemented, 	1-5	$3,350.00	$4,108.00

beaded, with Titanium plasma spray and

HA for mobile bearing insert

GO157	RBK Universal Knee System Tibial 	Tibial Baseplate, short keel,  uncemented, 	1 -5	$3,350.00	$4,108.00

Baseplate 	CoCr, beaded, with titanium plasma spray

and HA, for mobile insert

Johnson & Johnson Medical Pty Ltd

DP035	MBT Knee System tibial baseplate 	Tibial baseplate, uncemented, CoCr, HA 	Size 1-7	$3,350.00

(Duofix), beaded (Porocoat) for rotating

platform, ( non keeled only)

Link Orthopaedics  Australia

LO129	Link Gemini Tibial Baseplate 	Tibial Baseplate, uncemented, 	Extra Small - Extra Large	$3,350.00

Microporous, HX coating (hydroxy

Medacta Australia Pty Ltd

MU053	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, with 	Sizes 1 to 7, left and right	$3,350.00	$4,108.00

titanium micro beads, with HA, with

polished insert surface for mobile insert

MU076	GMK Uncemented mobile Tibia Tray	Asymmetric uncemented mobile tibia with	1 to 6, left and right	$3,350.00	$4,108.00

titanium porous coating by an

hydroxyapatite coating

Stryker Australia Pty Ltd

ST067	Scorpio Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, 	3, 5, 7, 9, 11, 13	$3,350.00

uncemented, beaded (microstructure)

with PA (Hydroxyapatite), CoCr

Prostheses List by Category, Groups and Sponsor	Page 517 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Rev

Corin Australia Pty Ltd

CR102	Score Knee System Tibial Baseplate 	Tibial baseplate, CoCr, uncemented, 	7 Sizes	$4,850.00

stippled surface, titanium plasma spray

Smith & Nephew Surgical Pty Ltd

SN368	'Mobile Bearing Knee System Tibial 	Tibial baseplate, uncemented, beaded, 	Left & Right Size 1-8	$4,850.00

Baseplate	CoCr, polished insert surface, for mobile

Knee - Tibial Tray Component: Uni-Compartmental Knee

Group 4a - Cemented, all polyethylene

Advanced Surgical Technologies

AD206	Advance-Unicondylar Knee System	Uni all poly tibial insert	Sizes 1, 2, 3, 4 in 7mm, 8mm, 	$1,250.00

9mm, 10mm

Biomet Australia Pty Ltd

BI202	Repicci II Unicondylar Knee System Uni	Uni tibial Component, all poly  Cemented, 	32-42mm	$1,250.00

Tibial component 	UHMWPE

Corin Australia Pty Ltd

CR091	Uniglide Uni Knee System Uni Tibial 	All poly uni tibial component, cemented 	Sizes 3, 5 & 7, thicknesses 	$1,250.00

Component 	7mm to 13mm

Exactech Australia

EX045	Optetrak Uni Condylar Knee System 	Uni Tibial, all poly, Cemented	1-6	$1,250.00	$1,500.00

Tibial Component

Global Orthopaedic Technology

GO031	Global re-surfacing uni-compartmental 	All poly, uni compartment, tibial 	0-5 6.5mm - 9.5mm regular	$1,250.00	$1,352.00

knee tibial component 	component, UHMWPE

Johnson & Johnson Medical Pty Ltd

DY114	Preservation Knee System uni tibial 	Uni all poly, cemented, tibial baseplate, 	Sizes 1 - 5.  7-13.5mm	$1,250.00

baseplate	UHMWPE

JJ778	Sigma HP Unicompartmental Knee - All 	Unicompartmental all poly tibial 	Size 1-6, 8-12mm LM/RL & 	$1,250.00

poly tibial component	component UHMWPE cemented	RM/LL

LSS Surgical Pty Limited

LS076	Advance-Unicondylar Knee System	Uni all poly tibial insert	Sizes 1, 2, 3, 4 in 7mm, 8mm, 	$1,250.00

9mm, 10mm

Prostheses List by Category, Groups and Sponsor	Page 518 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medacta Australia Pty Ltd

MU070	GMK Unicompartmental Full - PE Tibia 	cemented unicompartmental all 	1 to 5, left and right, 	$1,250.00

Component	polyethylene fixed component	8/9/10/11/12/14mm  thicknesses

Orthotech Pty Ltd

OH231	Optetrak Uni Condylar Knee System 	Uni Tibial, all poly, Cemented	1-6	$1,250.00	$1,500.00

Tibial Component

Smith & Nephew Surgical Pty Ltd

SM048	UC (Unicompartment) PLUS Solution 	Uni Tibial Baseplate, all poly, cemented 	40 (8mm, 10mm, 12mm, 	$1,250.00

Knee System Uni Tibial Baseplate	UHMWPE, 	14mm), 44 (8mm, 10mm, 12,,

14mm), 48 (8mm, 10mm,

12mm, 14mm), 52 (8mm,

10mm, 12mm, 14mm), 56

SN337	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, all poly, cemented	Left & Right, X Small- Magnum	$1,250.00

Plus,  8mm-15mm

Stryker Australia Pty Ltd

SR053	Freedom PKR / Active 	Uni tibial baseplate, cemented, all 	Sizes A to J	$1,250.00	$1,430.00

Unicompartmental Knee System Tibial

ST054	EIUS Unicompartmental Knee System 	Uni tibial baseplate, cemented, all 	XS, S, M, L, XL	$1,250.00

Tibial Baseplate 	UHMWPE, (N2VAC)

Tornier Pty Ltd

TO016	HLS Evolution Uni Tibial insert  	Uni Tibial Insert All Polyethylene, 	1 - 6 UHMWPE	$1,250.00

Zimmer Pty Ltd

ZI108	Miller Galante  Unicompartmental tibial 	All Poly Uni Tibial Baseplate, UHMWPE	1 to 6	$1,250.00	$1,445.00

baseplate

ZI402	Allegretto Unicompartmental Knee Tibial	All poly uni tibial component, cemented, 	9/38 to 15/48mm	$1,250.00	$1,445.00

Component	UHMWPE

Group 4b - Cemented, Alloy

Biomet Australia Pty Ltd

BI204	Repicci II Unicondylar Knee System Uni	Uni Tibial baseplate,  Cemented, 	Std, Large, Xlarge	$1,550.00

Tibial baseplate  	Titanium, for fixed insert

Johnson & Johnson Medical Pty Ltd

DY118	Preservation Knee System uni tibial 	Uni tibial baseplate, cemented, CoCr, for 	Size 1-5	$1,550.00

baseplate	fixed insert

Prostheses List by Category, Groups and Sponsor	Page 519 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ780	Sigma HP Unicompartmental Knee - 	Unicompartmental tibial base plate, 	Size 1-6, LM/RL & RM/LL	$1,550.00

Fixed bearing tibial tray	cemented, CoCr for fixed bearing insert

Mathys Orthopaedics Pty Ltd

MA452	BalanSys UNI tibial baseplate 	Uni tibial baseplate for fixed bearing 	1,2,3,4,5	$1,550.00

insert, cemented, CoCr

Medacta Australia Pty Ltd

MU065	GMK Unicompartmental fixed tibial 	cemented unicompartmental fixed tibial 	1 to 5, left and right	$1,550.00

baseplate	component with peg and fixation keel

Smith & Nephew Surgical Pty Ltd

SM120	UC (Unicompartment) PLUS Solution 	Uni Tibial Baseplate, CoCr, cemented for 	Tibial - 40 - 56 x (8, 10, 12, 	$1,550.00

Knee System Uni Tibial Baseplate	fixed insert

SN336	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, cemented, CoCr for 	XSmall-Magnum	$1,550.00

fixed insert

SN836	Journey Knee System Tibial Uni 	Uni Tibial Baseplate,Titanium, cemented, 	1-8	$1,550.00

for fixed insert

Stryker Australia Pty Ltd

SK497	Triathlon PKR - Cemented Tibial 	Uni tibial baseplate, cemented, CoCR	Size 1 to 6	$1,550.00

component

Tornier Pty Ltd

TO017	HLS Evolution Uni Tibial insert  	Uni Tibial Insert, Cemented, alloy, 	1 - 6 UHMWPE, CoCr	$1,550.00

modular, CoCr

Zimmer Pty Ltd

ZI107	Miller Galante  Unicompartmental tibial 	Uni 'Tibial baseplate, cemented, Titanium 	1 to 6	$1,550.00	$1,670.00

baseplate

Group 4d - Cemented, Alloy, moulded polyethylene

Biomet Australia Pty Ltd

BI871	Vanguard unicondylar Knee System	Tibial Component, CoCr UHMWPE	(A-E) x (5-8)	$2,000.00

Link Orthopaedics  Australia

LO060	LINK Endo-Model SLED Uni Tibial 	Uni tibial tray including UHMWPE insert, 	7mm-13mm in 45, 50, 55 	$2,000.00

cemented, CoCr tray

Zimmer Pty Ltd

ZI403	Allegretto Unicompartmental Knee	Tibial Baseplate Monoblock - Ti alloy / PE	7.5/38 to 15/48mm	$2,000.00	$2,075.00

Prostheses List by Category, Groups and Sponsor	Page 520 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 4f - Cemented, Alloy, for mobile insert

Biomet Australia Pty Ltd

BI033	Oxford Meniscal Knee System Uni 	Uni Tibial Baseplate, cemented, polished 	(38-53mm) x sizes 26-34	$1,750.00

Tibial Baseplate 	insert surface, for mobile insert (Phase

Johnson & Johnson Medical Pty Ltd

DY117	Preservation Knee System uni tibial 	Uni tibial baseplate, cemented, CoCr, for 	Size 1-5	$1,750.00

baseplate	mobile insert

Mathys Orthopaedics Pty Ltd

MA453	BalanSys UNI tibial baseplate 	Uni Tibial component for mobile insert, 	1,2,3,4,5	$1,750.00

cemented, CoCr

MA477	BalanSys UNI tibial baseplate 	Uni Tibial baseplate for mobile insert, 	1, 2, 3, 4, 5	$1,750.00	$2,000.00

cemented, CoCr with convex surface

Zimmer Pty Ltd

ZI502	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$1,750.00	$1,980.00

Non Porous - CoCr alloy

CS

Corin Australia Pty Ltd

CR061	Uniglide Uni Knee System Uni Tibial 	Uni tibial component, CoCr, with TiNi 	Sizes 1 - 8 inclusive	$1,750.00

Component 	insert surface coating for mobile insert

Group 4i - Uncemented, Alloy, HA coating

Smith & Nephew Surgical Pty Ltd

SN335	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, uncemented, CoCr, 	Left & Right, X Small- Magnum	$1,800.00

beaded, HA for fixed insert	 Plus

Stryker Australia Pty Ltd

SK329	UNIX Unicompartmental Knee System 	Uni tibial baseplate, uncemented with 	Sizes 1 to 4	$1,800.00

Tibial Baseplate	Hydroxyapatite, CoCr

Group 4l - Uncemented, Alloy, for mobile insert

Zimmer Pty Ltd

ZI430	Natural Knee	Unicompartmental -Tibia Baseplate - Ti 	Por 1 to Por 6	$1,800.00

Prostheses List by Category, Groups and Sponsor	Page 521 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 4m - Uncemented, Alloy, for mobile insert, HA coating

Biomet Australia Pty Ltd

BI860	Oxford Meniscal Knee System Uni 	Uni Tibial Baseplate, uncemented 	(38-53) x (26-34)mm	$2,000.00	$2,708.00

Tibial Baseplate 	Titanium plasma sprayed surface (Porous

plasma spray PPS) with HA (Phase III)

CS

Corin Australia Pty Ltd

CR057	Uniglide Uni Knee System Uni Tibial 	Uni tibial component, CoCr, uncemented, 	1-8	$2,000.00

Component 	Titanium plasma spray, with calcium

phosphate  (HA) ingrowth surface with

TiNi insert surface coating for mobile

Knee - Tumour Prostheses

Group 10 - Tumour Prostheses

Advanced Surgical Technologies

AD241	Limb Salvage System for the skeletally 	Repiphysis non invasive expandable 	Custom Made	$67,600.00

immature - Repiphysis	custom designed prosthesis for proximal

tibia, distal or total femur (all components

delivered as one unit)

AD244	Guardian Limb Salvage System	Special indication distal femur 	Left & Right	$4,841.00

AD245	Guardian Limb Salvage System	Tibial Hinge Assembly with polyethylene 	One Size only	$4,046.00

bearing, with/ without rotational stop pin

- CoCR

AD248	Guardian Limb Salvage System	Stemmed tibial tray	1 - 5	$4,982.00

AD249	Guardian Limb Salvage System	Duramer specialised Tibial insert, 	8, 10, 12, 16, 20mm	$2,475.00

AD251	Guardian Limb Slavage System	Guardian  Femoral Stem Straight/Tapered	11, 13, 15, 17mm x 152mm	$2,735.00

- Titanium

AD252	Guardian Limb Salvage System	Proximal Tibial replacement 	One Size Only	$7,176.00

AD254	Guardian Limb Salvage System	Guardian femoral Stem Straight With 	9, 11, 13 x 120mm	$3,630.00

Plasma Collar - Titanium

AD255	Guardian Limb Salvage System	Guardian beaded extended collar Femoral 	11, 13, 15, 17mm x 152mm	$3,702.00

Stem Straight/Tapered - Titanium

Prostheses List by Category, Groups and Sponsor	Page 522 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AD256	Guardian Limb Salvage System	Guardian Femoral Stem Straight - without	9, 11, 13 x 120mm	$2,694.00

plasma collar Titanium

AD339	Guardian Limb Salvage System	Guardian mid section male/female taper	40, 50, 60, 70, 90, 110, 140mm	$2,959.00

Biomet Australia Pty Ltd

BI864	Orthopaedic Salvage System	Stem, Cemented or Porous, Ti	(9-19)mm diameter x  (90-	$3,037.00

300)mm length

BI865	Orthopaedic Salvage System	Femoral Component, Resurfacing or 	30 - 70mm	$8,211.00

Segmental, CoCr,Ti

BI866	Orthopaedic Salvage System	Femoral or Tibial Augment, Ti	'Femoral Sleeve - One Size; OR 	$2,137.00

Femoral Flange - One Size; OR

Tibial Block Augment 10-20mm;

OR Tibial Augment Sleeve -

Small/Large

BI867	Orthopaedic Salvage System	Femoral/Tibial Interlocking 	One size only except for 	$5,408.00

devices:Locking Pin, Femoral and Tibial 	Locking Screw - Small or

Bushings, Tibial Bearing, Axle, 	Large; Tibial Bearing - 12-22mm

Reinforced Yoke, Locking Screws. CoCr,

BI868	Orthopaedic Salvage System	Diaphyseal Segment or Diaphyseal 	Diaphyseal Segment 3-23cm, 	$4,410.00

Coupler, Stacking Adapter and Locking 	Diaphyseal coupler 10-30cm

BI869	Orthopaedic Salvage System	Tibial Component, Resurfacing or 	63-83mm	$8,102.00

Segmental, Modular and non Modular,

BI963	Compress Compliant Prestress System	Anchor Assembly: Plug, Transverse pin, 	10-24mm femoral canal 	$10,360.00

spindle, nut, cap.

BI964	Compress Compliant Prestress System	Medullary Centering Sleeve	13-25mm	$1,400.00

BI965	Compress Compliant Prestress System	Femoral Adapter	OSS or Finn Adapter	$1,800.00

Corin Australia Pty Ltd

CR130	METS Femoral Knee	CoCR-Molybdenum femoral component 	Small, Standard	$7,653.00	$10,725.00

include axle, bushes and circlip

CR131	METS Tibial Rotating Hinge Polyethylene	A CoCr-Molybdenum tibial component 	stem lengths 105mm and 	$3,950.00	$8,505.00

with UHMWPE Tibial bearing

CR132	METS Tibial Rotating Hinge Metal Casing	UHMWPE tibial bearing with a CoCr-Mo 	Stem lengths 140mm and 	$10,899.00

tibial component and Ti casing

CR133	METS Tibial Fixed Hinge	CoCr-Molybdenum	Stem lengths 140mm and 	$7,751.00

CR134	METS Tibial Plateau Plate	CoCr	Small and standard in 4 	$1,436.00

Prostheses List by Category, Groups and Sponsor	Page 523 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CR137	METS Proximal Tibia Fixed Hinge	CoCr-Molybdenum proximal tibial 	Small and standard	$9,521.00

component including bumper

CR138	METS Proximal Tibia Fixed Hinge Coated	CoCr-Molybdenum with HA coated 	Small and standard	$9,521.00	$12,419.00

patella tendon reattachment mechanism

CR140	METS Stippled Collar	Titanium, HA coated, round or oval	4 sizes round, 4 sizes oval	$1,336.00	$4,598.00

CR141	METS Smooth Collar	Titanium, uncoated, round or oval	4 sizes round, 4 sizes oval	$936.00	$2,102.00

CR142	METS Stem	Titanium, curved and straight	6 diameters, 10-15mm	$2,286.00

CR144	METS Proximal Tibia Rotating Hinge 	Titanium with UHMWPE bearing and HA 	Small and standard	$9,106.00	$10,840.00

Coated	coated patella tendon reattachment

CR145	METS Tibial Stem	Titanium	5 diameters 9-13mm	$2,393.00

CR146	METS Tibial Collar Coated	Titanium collar with HA coating	5 diameters 20-32mm	$936.00	$4,692.00

CR148	METS Integral Shaft & Stem	Titanium shaft and stem with HA coated 	Shaft Length 30-70mm, stem 	$4,728.00

length 120mm

CR149	METS Integral Shaft & Stem Coated	HA coated titanium collar, shaft and stem	Shaft Length 15-55mm, stem 	$7,333.00

length 120mm

CR150	METS Tibial Shaft	Titanium shaft	45-115mm	$3,843.00

CR151	METS Proximal Tibia Rotating Hinge	Titanium with UHMWPE bearing	Small and standard	$9,106.00

CR152	METS Tibial Component Rotating Hinge		Small and standard	$7,176.00

CoCr-Molybdenum with UHMWPE

bumper pad

CR153	METS Femoral Plateau Plate	Titanium	Small & Standard, 4 thicknesses	$2,357.00

ESKA Australia

EK017	ESKA Tumor Revision System MML	Total femoral implant	various sizes	$11,440.00

EK018	ESKA Tumor Revision System MML	Distal femoral implant	various sizes	$11,440.00

Link Orthopaedics  Australia

LO038	LINK Endo Model Rotational Knee 	Entire prosthesis in single pack Total 	Small, medium & large	$12,289.00

Rotational Knee Joint without Anti Lux

Device, without Patella Flange

LO039	LINK Endo Model Rotational Knee 	Entire prosthesis in single pack Total 	Small, medium & large	$13,241.00

Rotational Knee Joint without Anti Lux

Device, with Patella Flange

Prostheses List by Category, Groups and Sponsor	Page 524 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LO040	LINK Endo Model Rotational Knee 	Entire prosthesis in single pack Total 	Small, medium & large	$13,541.00

Rotational Knee Joint with Anti Lux

Device, without Patella Flange but

includes UHMWPE full moulded proximal

tibial blocks

LO041	LINK Endo Model Rotational Knee 	Entire prosthesis in single pack, femoral 	Small, medium & large	$17,001.00

and tibial components are hinged and also

includes a non weight bearing UHMWPE

insert with locking screw

LO043	LINK Endo Model Rotational Knee 	Full tibial blocks made of UHMWPE 	Small, Medium, Large	$526.00

System tibial spacers

LO044	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral 	Small, medium & large	$17,001.00

and tibial components are hinged with

locking axis and also includes a non

weight bearing UHMWPE insert with

LO045	LINK Endo Model Rotational Knee 	Entire prosthesis in single pack Total 	Small, medium & large	$13,752.00

Rotational Knee Joint with Anti Lux

Device, with Patella Flange but includes

UHMWPE full moulded distal femur and

proximal tibial blocks

LO046	LINK Endo Model Rotational Knee 	Entire prosthesis in single pack Total 	Extra small, small, medium & 	$20,785.00

System (with femoral and tibial buildups)	Rotational Knee Joint with Anti Lux

Device, with Patella Flange and includes

extensive polyethylene distal/ femoral and

proximal tibial moulded spacers

LO047	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral 	Small, medium & large	$10,415.00

and tibial components are hinged with

locking axis and also includes a non

weight bearing UHMWPE insert

LO048	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral 	Small, medium & large	$11,303.00

and tibial components are hinged with

locking axis and also includes a non

weight bearing UHMWPE insert without

LSS Surgical Pty Limited

LS094	Limb Salvage System for the skeletally 	Repiphysis non invasive expandable 	Custom Made	$67,600.00

immature - Repiphysis	custom designed prosthesis for proximal

tibia, distal or total femur (all components

delivered as one unit)

LS096	Guardian Limb Salvage System	Special indication distal femur 	Left & Right	$4,841.00

Prostheses List by Category, Groups and Sponsor	Page 525 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LS097	Guardian Limb Salvage System	Tibial Hinge Assembly with polyethylene 	One Size only	$4,046.00

bearing, with/ without rotational stop pin

- CoCR

LS099	Guardian Limb Salvage System	Stemmed tibial tray	1 - 5	$4,982.00

LS100	Guardian Limb Salvage System	Duramer specialised Tibial insert, 	8, 10, 12, 16, 20mm	$2,475.00

LS102	Guardian Limb Slavage System	Guardian  Femoral Stem Straight/Tapered	11, 13, 15, 17mm x 152mm	$2,735.00

- Titanium

LS103	Guardian Limb Salvage System	Proximal Tibial replacement 	One Size Only	$7,176.00

LS105	Guardian Limb Salvage System	Guardian femoral Stem Straight With 	9, 11, 13 x 120mm	$3,630.00

Plasma Collar - Titanium

LS106	Guardian Limb Salvage System	Guardian beaded extended collar Femoral 	11, 13, 15, 17mm x 152mm	$3,702.00

Stem Straight/Tapered - Titanium

LS107	Guardian Limb Salvage System	Guardian Femoral Stem Straight - without	9, 11, 13 x 120mm	$2,694.00

plasma collar Titanium

LS148	Guardian Limb Salvage System	Guardian mid section male/female taper	40, 50, 60, 70, 90, 110, 140mm	$2,959.00

Stryker Australia Pty Ltd

HW144	KRH (Kinematic Rotating Hinge) Tibial 	KRH Rotating Hinge Tibial insert 	Small and Medium 11mm/15mm	$2,933.00

Insert	UHMWPE (Duration), Fixed	 by 110mm/180mm

HW145	GMRS (Global Modular Replacement 	GMRS, MRH, KRH Rotating Hinge 	Small & standard	$728.00

System) MRH (Modular Rotating Hinge)	Femoral Bushings & Bumpers UHMWPE,

Kinematic Rotating Hinge (KRH)

Femoral Bushings & Bumpers

HW196	HMRS (Howmedica Modular 	HMRS Tibial Joint (baseplate) - 	One size only	$5,553.00

Replacement System) Tibial Joint 	uncemented, CoCr (Vitallium), porous

coated, w/medial & lateral flanges moulde

agaibnst tibia w/bar bolt fixation, and

metal cHydroxyapatitember for axis of

HW197	HMRS (Howmedica Modular 	HMRS Proximal Tibia, uncemented, CoCr	120mm, 140mm, 160mm	$6,346.00

Replacement System) Proximal Tibial 	 (Vitallium), porous coated, and metal

cHydroxyapatitember for axis of hinge,

connects to anchorage piece for bone

attachement, Fixed

HW204	HMRS Extension Piece	Extension Piece, Uncemented CoCr, 	60mm, 80mm, 100mm	$3,871.00

connects to anchorage piece (optional)

Prostheses List by Category, Groups and Sponsor	Page 526 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HW205	HMRS (Howmedica Modular 	HMRS Straight Anchorage Piece (Stem) 	11, 12, 13, 14, 15mm	$4,451.00

Replacement System) Straight 	w/ small diaphyseal replacement,

uncemented, porous coated, CoCr

(Vitallium), porous coated with lateral

flange w/ 3 holes for fixation

HW206	HMRS (Howmedica Modular 	HMRS Curved Anchorage Piece 	12, 13, 14, 15, 16, 17, 19mm	$4,451.00

Replacement System) (Howmedica 	w/diaphyseal replacement, uncemented,

Modular Replacement System) Curved 	CoCr (Vitallium), porous coated with

lateral flange w/ 3 holes for fixation

HW207	HMRS (Howmedica Modular 	HMRS Connecting Piece, uncemented, 	One size only	$6,768.00

Replacement System) Connecting Piece 	CoCr (Vitallium) 2 parts, bolted together

with 2 screws, connecting Distal &

Proximal Femur +/- extension piece for

total femur replacement.

HW209	HMRS (Howmedica Modular 	HMRS Screw Jack UHMWPE (Duration)	One size only	$275.00

Replacement System) Screw Jack	 - use with Self Tapping Hex Head

Cortical Bone Screws for Proximal

Femur and Tibia soft tissue fixation

HW227	HMRS (Howmedica Modular 	HMRS Rotating Hinge Distal Femur, 	120, 140, 160mm	$8,433.00

Replacement System) Rotating Hinge 	CoCr (Vitallium) uncemented, porous

Distal Femur Component

HW228	HMRS (Howmedica Modular 	HMRS Rotating Hinge Axle - 	One size only	$820.00

Replacement System) Rotating Hinge 	uncemented, CoCr (Vitallium)

HW229	HMRS (Howmedica Modular 	HMRS Rotating Hinge Femoral Bushing - 	One size only	$407.00

Replacement System) Rotating Hinge 	UHMWPE, (Duration)

HW230	HMRS (Howmedica Modular 	HMRS & MRH Rotating Hinge Bumper - 	HMRS: 0°, 3°, 5°       MRH: 0°, 	$777.00

Replacement System) & MRH (Modular	(Duration) UHMWPE

Rotating Hinge) Rotating Hinge Bumper

HW234	HMRS (Howmedica Modular 	HMRS stemmed tibial baseplate, CoCr 	One size only	$8,772.00

Replacement System) Stemmed Tibial 	(Vitallium), uncemented, porous coated,

w/large connecting stem attached for

diaphyseal fixation, Fixed

HW246	MRS (Modular Replacement System) 	MRS Femoral Body uncemented, 	Standard Diametre 40-220mm in	$3,689.00

Femoral Body	male/female connections, Titanium 	 20mm increments and small

diameter 40-160mm in 20mm

increments

HW247	Howmedica Modular Resection System	Oncology Femoral Stem -  Vitallium	127mm and 203mm length 11, 	$3,847.00

13, 15, 17mm diameter

Prostheses List by Category, Groups and Sponsor	Page 527 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HW250	MRS (Modular Replacement System) 	MRS Tibial Stem - cemented, CoCr 	127mm in 9, 11, 13mm diameter	$3,757.00

Tibial Stem 	(Vitallium), Fixed

HW251	MRS (Modular Replacement System) 	Tibial insert UHMWPE (Duration) for 	Small and Medium in 11, 13, 16,	$1,648.00

Tibial Insert 	MRS Metal Encapsulated Rotating Hinge 	 21mm

Tibial component, Fixed

SK156	GMRS (Global Modular Replacement 	GMRS Proximal Tibial component, CoCr,	Small, Standard	$8,034.00

System) Proximal Tibial Component	 uncemented, porous coated, 7 x

tendon/suture holes for soft tissue re-

SK157	GMRS (Global Modular Replacement 	GMRS Distal Femoral component, CoCr, 	Small Left 65mm, Small Left 	$8,008.00

System) Distal Femoral Component	uncemented, Fixed	75mm, Small Left 85mm, Small

Left 95mm, Small Right 65mm,

Small Right 75mm, Small Right

85mm, Small Right 95mm,

Standard Left, Standard Right

SK159	HMRS (Howmedica Modular 	HMRS Plus Curved Anchorage Piece 	12, 13, 14, 15, 16, 17, 19mm	$5,034.00

Replacement System) Plus Curved 	with GMRS locking taper for crossover

w/ GMRS system. Offers small

diaphyseal replacement, uncemented,

CoCr (Vitallium), porous coated with

lateral flange w/ 3 holes for fixation, Fixed

SK160	HMRS (Howmedica Modular 	HMRS Plus Straight Anchorage Piece 	11, 12, 13, 14, 15mm	$4,841.00

Replacement System) Plus Straight 	with GMRS locking taper for crossover

w/ GMRS system. Offers small

diaphyseal replacement, uncemented,

CoCr (Vitallium), porous coated with

SK161	GMRS (Global Modular Replacement 	GMRS Extension Piece, uncemented 	30, 40, 50, 60, 70, 80, 100, 120,	$4,576.00

System) Extension Piece	Titanium, connects to anchorage piece 	 140, 160, 180, 200, 220mm

(optional) for increases diaphyseal

replacement

SK162	GMRS (Global Modular Replacement 	GMRS Connection Piece, uncemented 	Left 80, 90mm; Right 80, 90mm	$4,498.00

System) Connection Piece 	Titanium, to replace varying lengths of

diaphyseal bone loss

SK166	GMRS (Global Modular Replacement 	GMRS Long Bowed Stem,Titanium, with	200mm stem length in 11, 12, 	$5,034.00

System) Long Bowed Stem	 Ti plasma coating, uncemented, proximal	13, 14, 15, 16, 17, 18, 19mm

3cm Hydroxyapatite coated (Purefix)

SK167	GMRS (Global Modular Replacement 	GMRS Short Bowed Stem,Titanium, with	150mm in: 11, 12, 13, 14, 15, 	$4,429.00

System) Short Bowed Pressfit Stem	 Ti plasma coating, uncemented, proximal	16, 17, 18, 19mm

3cm Hydroxyapatite coated (Purefix)

Prostheses List by Category, Groups and Sponsor	Page 528 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK168	GMRS (Global Modular Replacement 	GMRS Straight Fluted Stem,Titanium, 	125mm length in 8, 9, 10, 11, 	$4,498.00

System) Straight Fluted Stem	with Ti plasma coating, uncemented, 	12, 13, 14, 15, 16, 17, 18,

proximal 3cm Hydroxyapatite coated

SK172	Howmedica Modular Resection System	GMRS Adaptors Male/Female Taper, 	Male Taper; Female Taper	$1,965.00

Titanium/Forged Cobalt Chrome

SK330	MRS (Modular Replacement System) 	MRS Femoral stems with female taper, 	11 x 127mm,    13 x 127mm,    	$6,760.00

Femoral Stems	Titanium, uncemented, 	15 x 127mm,    17 x 127mm

SK331	MRH (Modular Rotating Hinge) Rotating	MRH Assembly pack consists of: Tibial 	1 Tibial Sleeve, 1  Bumper 	$3,172.00

Hinge Assembly Pack	sleeve, Bumper insert & Femoral Bushing	Insert, 2 Femoral Bushing

components UHMWPE (Duration)

Zimmer Pty Ltd

ZI560	Nexgen complete knee solution	Rotating hinge knee cement shield 	B, C, D, E & F	$3,100.00

servicing kit

ZI566	Zimmer segmental system - articulating 	Segmental articulating surface	B, C, D, E & F - 12, 14, 17, 20,	$1,565.00	$2,300.00

surfaces	 23 & 26mm

ZI570	Zimmer segmental system - distal 	Distal femoral component	B & C, left and right	$8,008.00

femoral component

ZI571	Zimmer segmental system - segmental 	Segmental poly insert	B & C	$360.00

poly insert

ZI572	Zimmer segmental system - smooth 	Segmental smooth stem collar	12-16mm & 17-19mm	$4,400.00

stem collar

ZI573	Zimmer segmental system - hinge 	Segmental femoral hinge servicing kit	B & C	$3,100.00

servicing kit

ZI574	Zimmer segmental system - cemented 	Segmental cemented stem	12-19mm x 130mm; 190mm, 	$4,900.00

250mm

ZI576	Zimmer segmental system - segments - 	fem/tib segment male-female	Male/female x 30, 40, 60, 80, 	$4,400.00

femoral/ tibial	100, 120, 140, 160, 180,200,

220mm. Male/Male x 80, 90,

ZI583	Zimmer segmental system - TM stem 	Segmental TM stem collar	12-16mm, 25mm: 12-16mm, 	$4,498.00	$4,800.00

30mm: 12-16mm, 35mm; 17-

19mm, 30mm; 17-19mm,

t

Corin Australia Pty Ltd

CR136	METS Femoral Knee with Stem	CoCR-Molybdenum with titanium stem, 	Small and standard	$8,984.00

including axle, circlip & bushes

Prostheses List by Category, Groups and Sponsor	Page 529 of 865

ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Prostheses, Joint, Knee

Smith & Nephew Surgical Pty Ltd

SN342	Genesis	Custom Flex Lock Peg	Left & right	$150.00

Prostheses, Radial/Ulna Head

Orthopaedic Solutions Pty Ltd

OE011	BioProfile Modular Pyrocarbon Ulna Head	A modular titanium Pyrocarbon Ulnar  	Small, medium, large	$4,566.00

head prosthesis which includes a

Pyrocarbon head and titanium stem.

Prosthesis, Internal, Radial Head

Orthopaedic Solutions Pty Ltd

OE012	BioProfile Modular Pyrocarbon Radial 	A modular titanium Pyrocarbon Radial  	Small, medium, large and X-	$5,261.00

head prosthesis which includes a

Pyrocarbon head and titanium stem,

neck, head and expansion screw

Prostheses List by Category, Groups and Sponsor	Page 530 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.1 Mesh for Bone fixation

7.1.1.1.2 Mesh for Bone fixation, CMF, <0.2mm thick, 1 to 10cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO291	Titan Mesh	Mesh Panel, Titanium	Mesh 30x30mm profile 0.1mm	$165.00	$361.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Medtronic Australasia Pty Ltd

MC551	Macropore	Protective Disc	25mm	$165.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC554	Macropore	CraniDisk	23 - 28mm	$165.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC568	Macropore	Bur Hole Cover	25mm	$165.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.1.1.3 Mesh for Bone fixation, CMF, <0.2mm thick, 11 to 25cm2 area

Resorbable, Complex - Orbital

Johnson & Johnson Medical Pty Ltd

JJ687	PDS Plates	Absorbable synthetic (poly-p-dioxanone) 	0.25mm x 30mm x 40mm         	$515.00

plate/foil

0.5mm x 30mm x 40mm

0.25mm x 40mm x 50mm

0.5mm x 40mm x 50mm

7.1.1.1.5 Mesh for Bone fixation, CMF, <0.2mm thick, 51 to 100cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO290	Titan Mesh	Mesh Panel, Titanium	Mesh 80x80mm profile 0.1mm	$380.00	$1,512.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 531 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.1.2.2 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 1 to 10cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO298	Titan Mesh	Mesh Plates Titanium	2 hole strip 1, 1.5, 2mm	$350.00

Complex

Synthes Australia Pty Ltd

SY485	Mesh Plate	Titanium malleable mesh plates	0.2mm-0.4mm, 1-10cm2	$725.00	$1,000.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Complex - Orbital

Medical & Optical Instruments Australia Pty Ltd

MO303	Titan Mesh Orbital Floor Plate (Martin)	Titan mesh - contoured orbital floor 	1.5mm 0.3 profile	$644.00

repair mesh plate

Synthes Australia Pty Ltd

SY481	Oribital Floor Mesh Plate	Titanium orbital floor mesh plates	<0.5mm	$725.00	$1,048.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI399	Lactosorb Resorbable 	Panel or Sheet, Solid or Holed, PGA/PLA	0.25mm x 25x25mm	$450.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO299	Martin Level One Fixation Resorb x & 	Mesh PDLLA (resorbable)	0.20 to 0.49mm thick, 1 to 10 	$450.00

SonicWeld	cm2 area

7.1.1.2.3 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 11 to 25cm2 area

Australian Surgical Innovations Pty Ltd

AI005	ASI Plates and Screws	Mesh	.	$700.00	$770.00

Biomet Australia Pty Ltd

BH031	W Lorenz Osteosynthesis	Mesh 1.5mm system, precontoured, 	40 x 40 x 0.3mm profile	$725.00	$900.00

Johnson & Johnson Medical Pty Ltd

JJ732	Bioplate  - Biomesh 1MC	1MC (0.3mm) thick titanium malleable 	36 x 43mm	$700.00

Prostheses List by Category, Groups and Sponsor	Page 532 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ797	BIOPLATE Biomesh	Titanium mesh for cranial fixation system	1.5mm diam, 0.6mm thickness, 	$510.00	Only to be funded where used in

36mm x 52mm	a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC889	TiMesh	Square-rectangular Gridmesh Panel	11 to 25 cm2 area	$700.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST390	Luhr Fixation System 	Luhr Micro and Pan Fixation Systems: 	40x60mm	$700.00	Only to be funded where used in

Micro mesh  Vitallium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP080	Plates	Micro, Mini	Mesh 50mm x 37, 36 x 50mm, 	$700.00	Only to be funded where used in

Mesh 11 to 25cm2 area	a service for which a Medicare

Benefit is payable

SP107	OsteoMed Plating & Fixation System	Plates	40 x 40mm Osteoform Mesh, 	$700.00	$1,250.00	Only to be funded where used in

Mesh 11 to 25cm2 area.	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY479	Mesh Plate	Titanium malleable mesh plates	<0.2mm-0.49mm, 11-25 cm2	$700.00	$960.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Complex - Orbital

Medical & Optical Instruments Australia Pty Ltd

MO304	Martin Level One Fixation	Mesh Ttianium	0.20 to 0.49mm thick, 11 to 25 	$725.00

cm2 area

Resorbable

Arthrocare Australasia Pty Ltd

AF026	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & 	a) 30 x 40mm membrane kit; b) 	$680.00	Only to be funded where used in

6 tack kit and applicator	a service for which a Medicare

Benefit is payable

Biomet Australia Pty Ltd

BI400	Lactosorb Resorbable 	Cover, Solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 	$680.00	$850.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 533 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI401	Lactosorb Resorbable 	Cover, Solid or Holed, PGA/PLA	0.25mm x 50x50mm	$680.00	$1,300.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

7.1.1.2.4 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 26 to 50cm2 area

Biomet Australia Pty Ltd

BH022	W Lorenz Osteosynthesis System	Panel, Regular or Small Grid. Titanium	(80,85) x (50-53)mm x (0.3 or 	$850.00	$1,315.00

0.2mm)

BI604	W Lorenz Osteosynthesis System	Sheet, 1mm System. Titanium	85x50x0.2mm	$700.00	$1,127.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI645	W Lorenz Osteosynthesis System	Mesh panel. 1.5mm System Titanium	83 x 51mm x(0.3 or 0.2mm)	$700.00	$1,127.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ256	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	0.45mm thickness, 60 x 60mm	$700.00

sterile

Medical & Optical Instruments Australia Pty Ltd

MO292	Titan Mesh	Mesh Panel, Titanium	Mesh 51x 51 mm profile 0.3mm	$700.00	$1,564.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC914	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System. Composition: 	26 to 50 cm2 area; 0.3mm thick	$700.00	$1,000.00	Only to be funded where used in

Grafting and Plating System	Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP068	Plates	Micro, Mini, Maxi	Mesh 50mm x 74mm Mesh 26 	$700.00	Only to be funded where used in

to 50cm2 area	a service for which a Medicare

Benefit is payable

Complex - Cranium

Synthes Australia Pty Ltd

SY490	Mesh Plate	Titanium Contourable mesh plate - mastoid	<0.2 to 0.49mm, >25cm2	$850.00

Prostheses List by Category, Groups and Sponsor	Page 534 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO188	Resorb-X Mesh Plate         51 x 51mm	Resorb-X Osteosynthesis System, 	51 x 51mm - 0.3, mm profile	$1,490.00	Only to be funded where used in

Resorbable mesh plate	a service for which a Medicare

Benefit is payable

7.1.1.2.5 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 51 to 100cm2 area

Johnson & Johnson Medical Pty Ltd

JJ257	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	0.45mm thickness, 85 x 90mm	$1,400.00

sterile

Medical & Optical Instruments Australia Pty Ltd

MO127	Titan Mesh	Mesh Sheet Titanium	13 hole 1, 1.5, 2mm	$1,400.00	$2,200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC524	TiMesh	Isogrid Panel	One size only	$1,400.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC525	TiMesh	Sugar Mesh Panel / Grid	11 x 7.5cm	$1,400.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC887	TiMesh	Titanium Mesh Panel	51 to 100 cm2 area	$1,400.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC890	TiMesh	Square-rectangular Gridmesh Panel	51 to 100 cm2 area	$1,400.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC912	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.0mm system. Composition: 	51 to 100 cm2 area; 0.3mm thick	$1,400.00	Only to be funded where used in

Grafting and Plating System	Titanium	a service for which a Medicare

Benefit is payable

MC916	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System. Composition: 	51 to 100 area; 0.3mm thick	$1,400.00	Only to be funded where used in

Grafting and Plating System	Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 535 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

ST391	Luhr Fixation System 	Luhr Micro and Pan Fixation Systems: 	60x100mm	$1,400.00	Only to be funded where used in

Micro mesh  Vitallium	a service for which a Medicare

Benefit is payable

ST855	Leibinger Titanium Implant System	Mesh: Micro, Dumbach, Dynamic	Diameter 1.0mm - 2.3mm; 90 x 	$1,400.00	Only to be funded where used in

90mm to 200 x 200mm	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP078	Plates	Micro, Mini	Mesh Sheet 100mm x 74mm 	$1,400.00	Only to be funded where used in

Mesh 51 to 100cm2 area	a service for which a Medicare

Benefit is payable

SP109	OsteoMed Plating & Fixation System	Plates	90 x 90mm Osteoform Mesh, 	$1,400.00	Only to be funded where used in

Mesh 51 to 100cm2 area.	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY488	Mesh Plate	Titanium Contourable mesh plate	<0.2 to 0.49mm 51 to 100cm2	$1,400.00

Resorbable

Biomet Australia Pty Ltd

BI998	Lactosorb Resorbable 	Panel or Sheet, Solid or Holed, PGA/PLA	0.25mmx100x100mm	$1,750.00	$2,150.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

7.1.1.2.6 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, 101 to 200cm2 area

Biomet Australia Pty Ltd

BH024	W Lorenz Osteosynthesis System	Pre-contoured Neuro Mesh, titanium	163 x 115 x 0.3mm	$1,480.00

Johnson & Johnson Medical Pty Ltd

JJ798	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non 	132 x 134mm, 0.45mm thickness	$1,480.00	$1,770.00

sterile

Medtronic Australasia Pty Ltd

MC888	TiMesh	Titanium Mesh Panel	100 to 200 cm2 area	$1,480.00	$1,800.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 536 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.1.2.7 Mesh for Bone Fixation, CMF, 0.20 to 0.49mm thick, >200cm2 area

Biomet Australia Pty Ltd

BH018	W Lorenz Osteosynthesis System	Sheet 1.5mm System. Titanium	(203-206)mm x (123-127)mm x	$1,500.00	$1,750.00	Only to be funded where used in

(0.2-0.3)mm	a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ441	Titanium Mesh	Titanium Mesh Sterile	0.2mm thickness, 15cm x 15cm	$1,500.00

Medtronic Australasia Pty Ltd

MC387	TiMesh Rigid Fixation Bone Grafting 	Titanium, Square Grid Mesh	Large	$1,500.00	$2,000.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP106	OsteoMed Plating & Fixation System	Plates	111 x 191mm Mesh Plate, Mesh	$1,500.00	Only to be funded where used in

> 200cm2 area.	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY314	AO/ASIF  Plate	Titanium Mesh for reconstruction of 	200 x 200mm square, 0.4mm - 	$1,500.00

cranial defects, Low Profile Neuro Mesh	0.6mm thick, Contourable

SY480	Mesh Plate	Titanium malleable mesh plates	0.4mm > 200cm2 205x205	$1,500.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.1.3.2 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 1 to 10cm2 area

Medical & Optical Instruments Australia Pty Ltd

MO129	Titan Mesh	Mesh Plates Titanium	1 x 2 holes 1, 1.5, 2mm	$315.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO289	Martin Level One Fixation	Mesh Titanium	0.5 to 0.8mm thick, 1 to 10cm2 	$315.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC389	TiMesh Rigid Fixation Bone Grafting 	Titanium, Square Grid Mesh	Small	$315.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 537 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC898	Macropore	Orbital Floor Liner	1 to 10 cm2 area; 1.0mm thick	$650.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST245	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	75 x 12 x 0.5mm	$315.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI417	Lactosorb Resorbable 	Cover, Solid or Holed, PGA/PLA	(0.5 or 0.8mm) x 25 x 25mm	$600.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO300	Martin Level One Fixation SonicWeld 	Mesh PDLLA (resorbable)	0.5 to 0.8mm thick, 1 to 10cm2 	$600.00

and Resorb x

MO301	Resorb-X Mesh Plate 25 x 25mm	Resorb-X Osteosynthesis System, 	22 x 26mm -  0.6, mm profile	$650.00

Resorbable mesh plate

Medtronic Australasia Pty Ltd

MC630	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	25mm x 25mm x 0.75mm	$600.00

MC895	Macropore	Protective Sheets	1 to 10 cm2 area; 0.5mm thick	$600.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable, Complex - Orbital

Medtronic Australasia Pty Ltd

MC897	Macropore	Orbital Floor Liner	1 to 10 cm2 area; 0.5mm or 	$650.00	Only to be funded where used in

0.75mm thick	a service for which a Medicare

Benefit is payable

7.1.1.3.3 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 11 to 25cm2 area

Anatomics Pty Ltd

AT068	E-POR Biomaterial/ Panel - Porous 	Panel - Porous Polyethylene Titanium 	0.5mm - 0.8mm thick, 38mm x 	$900.00

Polyethlene Titanium Mesh Composite	Mesh Composite	50mm

Biomet Australia Pty Ltd

BH030	W Lorenzo Osteosynthesis	Mesh 1.5mm system, precontoured, 	40 x 40 x 0.6mm profile	$945.00	$1,000.00

Prostheses List by Category, Groups and Sponsor	Page 538 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ733	Bioplate - Biomesh 3MC	3MC (0.6mm) thick titanium malleable 	36 x 52mm	$510.00

JJ796	BIOPLATE Biomesh	Titanium mesh for cranial fixation system	1.5mm diam; 0.45mm 	$700.00	Only to be funded where used in

thickness, 32 x 48mm	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO309	Titan Mesh	Mesh Plates Titanium	Box plate 50x30 profile 0.6mm	$510.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO310	Martin Level One Fixation	Mesh Titanium	0.5 to 0.8mm thick, 11 to 25 	$800.00	Only to be funded where used in

cm2 area	a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC893	Macropore	Protective Sheets	11 to 25 cm2 area, 0.5mm thick	$945.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST246	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	75 x 18 x 0.5mm	$510.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST247	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	.75 x 27 x 0.5mm	$510.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP108	OsteoMed Plating & Fixation System	Plates	40 x 40mm Osteoform Mesh, 	$510.00	$1,250.00	Only to be funded where used in

Mesh 11 to 25cm2 area.	a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI418	Lactosorb Resorbable 	Panel, Lactosorb. 1.5mm System. 	25 x 50mm (5 x 10 hole)	$945.00	$1,200.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

BI419	Lactosorb Resorbable 	Cover, Solid or Holed, PGA/PLA	(0.5 or 0.8)mm x 50x50mm	$945.00	$1,400.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 539 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC629	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	50mm x 50mm 0.75mm	$945.00

Synthes Australia Pty Ltd

SY544	PolyMax Rapid-Resorbable Fixation 	Mesh Plate	Mesh for bone fixation, CMF, 	$945.00

0.5-0.8mm thick, 11-25cm2

7.1.1.3.4 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 26 to 50cm2 area

Anatomics Pty Ltd

AT069	E-POR Biomaterial/ Panel - Porous 	Panel - Porous Polyethylene Titanium 	0.5mm-0.8mm thick, 76mm x 	$1,050.00

Polyethlene Titanium Mesh Composite	Mesh Composite	50mm

AT070	E-POR Biomaterial/ Panel - Porous 	Panel - Porous Polyethlene Titanium 	>0.8mm thick, 38mm x 50mm	$975.00

Polyethlene Titanium Mesh Composite	Mesh Composite

Biomet Australia Pty Ltd

BH023	W Lorenz Osteosynthesis System	Panel, Regular or Small Grid. Titanium	(80,85) x 53mm x 0.6mm	$1,230.00	$1,315.00

BI644	W Lorenz Osteosynthesis System	Mesh panel, 1.5mm System. Titanium	83 x 51mm x 0.6mm	$980.00	$1,165.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ258	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	0.6mm thickness, 65 x 65mm, 	$980.00

sterile	90 x 92mm

Medical & Optical Instruments Australia Pty Ltd

MO306	MESH	Titanium mesh	various sizes profile 0.6mm	$980.00	$1,620.00

Medtronic Australasia Pty Ltd

MC915	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System. Composition: 	26 to 50 cm2 area; 0.6mm thick	$980.00	Only to be funded where used in

Grafting and Plating System	Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP093	OsteoMed Plating & Fixation System	Plates - Reconstruction	Mesh Malleable/Ridgid, 74 x 	$980.00	$1,100.00	Only to be funded where used in

50mm, Mesh, 0.5 to 0.8mm 	a service for which a Medicare

thick, 26 to 50cm3 area	Benefit is payable.

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO305	Martin Level One Fixation SonicWeld 	Mesh PDLLA (resorbable)	0.5 to 0.8 thick, 26 to 50cm2 	$1,230.00	$1,600.00

and Resorb x

Prostheses List by Category, Groups and Sponsor	Page 540 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC560	Macropore	Protective Sheets	60 x 80 x 0.5mm - 60 x 80 x 	$1,230.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC628	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	60mm x 80mm x 0.75mm	$1,230.00

7.1.1.3.5 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 51 to 100cm2 area

Aus Systems Pty Ltd

AU057	Titanium Surgical Mesh	Titanium Surgical Mesh	Mesh to suit 2mm screw	$1,175.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

AU058	Titanium Surgical Mesh	Titanium Surgical Mesh	Mesh to suit 1.5mm screw	$1,175.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

B Braun Australia Pty Ltd

BB315	Aesculap CranioPlate System/Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 65 x 90 mm, 	$1,175.00

Neuro, 65 x 90mm, 0.6mm mesh	non biodegradable. Consists of screws, 	0.6mm Mesh

Medtronic Australasia Pty Ltd

MC623	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 2.2mm System. Composition: 	114mm x 82mm, 0.6mm	$1,175.00	$1,450.00	Only to be funded where used in

Grafting and Plating System	Titanium.	a service for which a Medicare

Benefit is payable

MC877	TiMesh Rigid Fixation Bone Grafting 	Titanium, Mesh	51 to 100 cm2 area, 0.6mm 	$1,175.00	$1,450.00	Only to be funded where used in

and Plating System	thickness	a service for which a Medicare

Benefit is payable

MC913	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.0mm system. Composition: 	51 to 100 cm2 area; 0.6mm thick	$1,175.00	$1,450.00	Only to be funded where used in

Grafting and Plating System	Titanium	a service for which a Medicare

Benefit is payable

MC917	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System. Compostition: 	51 to 100 cm2 area; 0.6mm thick	$1,175.00	$1,450.00	Only to be funded where used in

Grafting and Plating System	Titanium	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST250	Leibinger Titanium Implant System	Mesh: Micro, Dumbach, Dynamic	Diameter 1.0mm - 2.3mm; Up 	$1,175.00	Only to be funded where used in

to 90 x 90mm	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 541 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Surgiplas Medical

SP110	OsteoMed Plating & Fixation System	Plates	90 x 90mm Osteoform Mesh, 	$1,175.00	$1,250.00	Only to be funded where used in

Mesh 51 to 100cm2 area.	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY489	Mesh Plate	Titanium Contourable mesh plate	0.5 to 0.8mm 51 to 100cm2	$1,175.00	$1,600.00

3D

Medical & Optical Instruments Australia Pty Ltd

MO251	OSTEOSYNTHESIS SYSTEM MESH 	3 D Mesh	0.6mm Profile     80x80	$1,155.00	$2,600.00	Only to be funded where used in

PLATE	a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI999	Lactosorb Resorbable 	Panel or Sheet, Solid or Holed, PGA/PLA	(0.5 or 0.8)mm 100x100mm	$1,480.00	$2,150.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC627	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	100mm x 100mm x 0.75mm	$1,480.00	$1,940.00

MC899	Macropore	Protective Sheets	51 to 100 cm2 area; 0.5mm thick	$1,480.00	$1,940.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY547	PolyMax Rapid-Resorbable Fixation 	Mesh Plate	Mesh for bone fixation, CMF, 	$1,450.00

>0.8mm thick, 51-100cm2 area

7.1.1.3.6 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, 101 to 200cm2 area

Biomet Australia Pty Ltd

BH025	W.Lorenz Osteosynthesis System	Pre-contoured Neuro Mesh titanium	163 x 115 x 0.6mm	$2,100.00	$2,370.00

Johnson & Johnson Medical Pty Ltd

JJ799	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non 	127 x 131mm, 0.6mm thickness	$1,255.00	$1,933.00

sterile

Prostheses List by Category, Groups and Sponsor	Page 542 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC878	TiMesh Rigid Fixation Bone Grafting 	Titanium, Mesh	101 to 200 cm2 area; 0.5 or 	$1,255.00	$1,750.00	Only to be funded where used in

and Plating System	0.6mm thickness	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY482	Mesh Plate	Titanium rigid mesh plates	0.6mm < 200cm2	$1,255.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO204	Resorb-X Plates	Resorb-X Osteosynthesis System, 	125 x 125mm	$2,100.00	$5,000.00	Only to be funded where used in

Resorbable Mesh Plate	a service for which a Medicare

Benefit is payable

7.1.1.3.7 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, >200cm2 area

Biomet Australia Pty Ltd

BH019	W Lorenz Osteosynthesis System	Sheet 1.5mm System. Titanium	206 x 123 x 0.6mm	$1,750.00	$2,370.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ260	BIOPLATE Biomesh	Titanium cranial biomesh 3ME, packaged 	20 x 20cm	$1,750.00	$3,455.00

non-sterile

Medtronic Australasia Pty Ltd

MC620	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System	148mm x 148mm, 0.6mm	$1,750.00	$2,243.00	Only to be funded where used in

Grafting and Plating System	a service for which a Medicare

Benefit is payable

MC624	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 2.2mm System. Composition: 	154mm x 154mm, 0.6mm	$1,750.00	$2,243.00	Only to be funded where used in

Grafting and Plating System	Titanium.	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP112	OsteoMed Plating & Fixation System	Plates	125 x 180mm Mesh Plate, 150 x	$1,750.00	$2,975.00	Only to be funded where used in

300mm Mesh Plate, Mesh 	a service for which a Medicare

>200cm2 area..	Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 543 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY483	Mesh Plate	Titanium rigid mesh plates	0.6mm > 200cm2	$1,750.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.1.3.8 Mesh for Bone Fixation, CMF, 0.50 to 0.80mm thick, unspecified

Synthes Australia Pty Ltd

SY484	Mesh Plate	Titanium rigid mesh plates - complex 	0.6mm	$1,690.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.1.4.2 Mesh for Bone Fixation, CMF, >0.80 thick, 1 to 10cm2 area

Surgiplas Medical

SP100	Bioresorbable Fixation System	Plates	20 x 30mm Mesh, Mesh 	$470.00	$644.00	Only to be funded where used in

>0.8mm thick, 1 to 10 cm2 area	a service for which a Medicare

Benefit is payable

Resorbable

Medtronic Australasia Pty Ltd

MC896	Macropore	Protective Sheets	1 to 10 cm2 area; 1.0mm thick	$470.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.1.4.3 Mesh for Bone Fixation, CMF, >0.80 thick, 11 to 25cm2 area

Medtronic Australasia Pty Ltd

MC894	Marcropore	Protective Sheets	11 to 25 cm2 area, 1.0mm thick	$950.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI427	Lactosorb Resorbable 	Mesh, Mandibular Lactosorb 2.5mm 	1.42mm x 42x42mm	$950.00	$1,367.00	Only to be funded where used in

Craniomaxillofacial Fixation System	System. PGA/PLA	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 544 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO231	Resorb X Plates Various Sizes	Resorb Osteosynthesis System resorbable	11 x 126mm	$950.00	Only to be funded where used in

mesh plate	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP105	OsteoMed Plating & Fixation System	Plates	50 x 50mm Bioresorbable Mesh;	$950.00	$1,250.00	Only to be funded where used in

Mesh 11 to 25 cm2 area	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY545	PolyMax Rapid-Resorbable Fixation 	Mesh Plate	Mesh for bone fixation, CMF, 	$950.00

>0.8mm thick,11-25cm2

7.1.1.4.4 Mesh for Bone Fixation, CMF, >0.80 thick, 26 to 50cm2 area

Anatomics Pty Ltd

AT071	E-POR Biomaterial/ Panel - Porous 	Panel - Porous Polyethylene Titanium 	>0.8mm thick, 76mm x 50mm	$1,150.00

Polyethylene Titanium Mesh Composite	Mesh Composite

Resorbable

Stryker Australia Pty Ltd

ST516	Stryker Leibinger Resorbable Fixation 	Resorbable plate: blank panel Tripolymer	55x55mm 	$1,020.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

ST526	Stryker Leibinger Resorbable Fixation 	Resorbable Mesh Tripolymer	55x55mm	$1,020.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

7.1.1.4.5 Mesh for Bone Fixation, CMF, >0.80 thick, 51 to 100cm2 area

Medtronic Australasia Pty Ltd

MC900	Macropore	Protective Sheets	51 to 100 cm2 area; 1.0mm thick	$1,430.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP111	OsteoMed Plating & Fixation System	Plates	100 x 100mm Bioresorbable 	$1,430.00	$2,975.00	Only to be funded where used in

Mesh, Mesh 51 to 100cm2 area.	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 545 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Resorbable

Synthes Australia Pty Ltd

SY546	PolyMax Rapid-Resorbable Fixation 	Mesh Plate	Mesh for bone fixation, CMF, 	$1,175.00

0.5-0.8mm thick, 51-100cm2

7.1.2 Clamps, Pins, Tacks, Washers, other ancillary components

7.1.2.1.3 Bone Reconstruction & Fixation,General, Clamps, Pins, Tacks, Washers, other

Surgiplas Medical

SP096	OsteoMed Plating & Fixation System	Screws	MMF / Anchorage Screws 	$57.00	$140.00	Only to be funded where used in

1.2/1.6/2.0mm Anchor, Bone	a service for which a Medicare

Benefit is payable.

7.1.2.10 Bone Reconstruction and Fixation, General, Clamps, Pins, Tacks, Washers, other

Stryker Australia Pty Ltd

SK146	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Bi-concave 	$30.00	Only to be funded where used in

Universal Mandible Biconcave Washer	fixation of mandibular fractures and 	Washer	a service for which a Medicare

Benefit is payable.

7.1.2.11 Bone Reconstruction & Fixation,General,Clamps,Pins, Tacks,Washers, other

Polymer

Anatomics Pty Ltd

AT056	E-POR Biomaterial/ Craniotomy Gap 	Craniotomy Gap Wedge Porous 	One Size - V and T shape	$385.00

Wedge Porous Polyethylene

AT067	E-POR Biomaterial/ Burr Hole Cover, 	Burr Hole Cover, Porous Polyethylene	15mm x 3mm x 5mm; 29mm x 	$385.00

Porous Polyethylene	7mm x 14mm

7.1.2.12 Bone Reconstruction & Fixation,General,Clamps,Pins,Tacks,Washers, other

Surgiplas Medical

SP095	OsteoMed Plating & Fixation System	Screws	Locking Screw Inserts, Other 	$33.00	$140.00	Only to be funded where used in

ancillary	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 546 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Resorbable

Medtronic Australasia Pty Ltd

MC580	Macropore	Locks	2 - 20mm	$250.00	$700.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.2.2 Bone Reconstruction and Fixation, General, Clamps,Pins, Tacks, Washers, other

B Braun Australia Pty Ltd

BB072	Craniofix Titanium Clamps	Titanium	11mm	$95.00

BB073	Craniofix Titanium Clamps	Titanium	16mm	$95.00

BB168	Craniofix	Titanium skull fixation clamp	20mm	$95.00

Biomet Australia Pty Ltd

BI714	RapidFlap Cranial Clamp	Clamp, Burr Hole or Craniotomy Line, 	12, 16, 20mm	$95.00	$108.00

Titanium

Johnson & Johnson Medical Pty Ltd

JJ290	Burr hole button	Sterile, 10 per package, silicone rubber	Button length 35mm, cover 	$95.00

diameter 29mm, stem thickness

4.1mm

JJ291	Burr hole cover	Burr hole cover, sterile, 10 per package, 	Seat diameter 10mm, seat depth 	$95.00

silicone rubber	6mm

JJ489	Bioplate ZIP	Titanium Alloy Implant	11 - 12mm	$95.00

JJ490	Bioplate ZIP	Titanium Alloy Implant	15 - 16mm	$95.00

JJ491	Bioplate ZIP	Titanium Alloy Implant	18 - 20mm	$95.00

Medtronic Australasia Pty Ltd

MC581	Invisx Locks	Invisx polymer cranial fixation system	Single pack	$95.00	$175.00

MC582	Invisx Locks	Invisx polymer cranial fixation system	2 pack	$95.00	$175.00

Resorbable

B Braun Australia Pty Ltd

BB289	CranioFix Absorbable	Double sided Cranial clamp, absorbable 	11mm	$95.00

polyester

Prostheses List by Category, Groups and Sponsor	Page 547 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.2.8 Bone Reconstruction and Fixation, General, Clamps, Pins, Tacks, Washers, other

Synthes Australia Pty Ltd

SY345	Titanium Sternal Fixation System	Titanium Emergency Release Pin	One Size only	$95.00	$110.00

7.1.2.9 Bone Reconstruction and Fixation, General, Clamps, Pins, Tacks, Washers, other

Resorbable

Arthrocare Australasia Pty Ltd

AF027	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & 	6 tack kit	$52.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC570	Macropore	Tacks	1.5 x 4mm - 2.0 x 6mm	$52.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.3 Plate, General CMF and Small fragment

7.1.3.1.1 CMF Fracture or Reconstruction Plate, <0.5mm thick, <4 holes

Johnson & Johnson Medical Pty Ltd

JJ535	BIOPLATE Low Profile	Low Profile 2-hole Straight Plate	11mm - 14mm length	$65.00

Surgiplas Medical

SP076	Plates	Micro, Midface & Mini	Straight Plate - 2 Hole, Plate < 4 	$65.00	$120.00	Only to be funded where used in

holes.	a service for which a Medicare

Benefit is payable

3D

Stryker Australia Pty Ltd

SK370	Universal Neuro	NeuroClip	1.5mm	$85.00

Pack

Biomet Australia Pty Ltd

BI949	Neurological Packs	Plate & screws: Neuro pack - single plate	1.5mm or 2mm system	$342.00	$360.00

or thinflip 2 hole plate set

Prostheses List by Category, Groups and Sponsor	Page 548 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.3.1.2 CMF Fracture or Reconstruction Plate, <0.5mm thick, 4 to 7 holes

Johnson & Johnson Medical Pty Ltd

JJ537	BIOPLATE Low Profile	Low Profile 4-hole Straight Plate	19mm length	$140.00

JJ538	BIOPLATE Low Profile	Low Profile 5-hole Y Plate	18mm length	$140.00	$156.00

JJ539	BIOPLATE Low Profile	Low Profile 6-hole X Plate	17mm length	$140.00	$255.00

JJ540	BIOPLATE Low Profile	Low Profile 5-hole T Plate	15mm length	$140.00	$170.00

JJ541	BIOPLATE Low Profile	Low Profile 4-hole Boxcar Plate	10 x 10mm	$140.00	$195.00

JJ542	BIOPLATE Low Profile	Low Profile 6-hole Narrow Boxcar Plate	8 x 17mm	$140.00	$231.00

Complex - Burr

Johnson & Johnson Medical Pty Ltd

JJ544	BIOPLATE Low Profile	Low Profile Flex Contoured Burr Hole 	Low profile 0.3mm, 1.5mm 	$190.00

diam hole, 12 - 18mm diam plate

Medical & Optical Instruments Australia Pty Ltd

MO121	Martin Micro Plate Osteosynthesis System	1.5mm system Burr Hole Cover Titanium	12 to 22mm, 0.3 - 0.6mm 	$190.00	$330.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Pack

Johnson & Johnson Medical Pty Ltd

JJ638	BIOPLATE Neurosurgery Fixation 	Five Hole T-Plate with Screws - Titanium	1.5mm	$355.00	$395.00

System - BIOPLATE Low Profile Plate

and Screw Sterile Packs

7.1.3.1.3 CMF Fracture or Reconstruction Plate, <0.5mm thick, 8 to 15 holes

Johnson & Johnson Medical Pty Ltd

JJ543	BIOPLATE Low Profile	Low Profile 8-hole Boxcar Plate	10 x 24mm	$281.00

7.1.3.2.1 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, <4 holes

Australian Surgical Innovations Pty Ltd

AI004	ASI Plates and Screws	Plate	Straight, Left, Right, X, T and Y	$95.00	$104.00

shaped

Prostheses List by Category, Groups and Sponsor	Page 549 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB304	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 2 hole 11 & 16mm 	$95.00

Neuro, 2 hole straight	non biodegradable.  Consists of screws, 	straight

Biomet Australia Pty Ltd

BI677	W Lorenz Osteosynthesis System	Plate, Neuro Straight, 1.5mm System, 	2 hole (medium or long)	$95.00	$110.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

BI718	W Lorenz Osteosynthesis System	Neuro Gap Plate, Titanium	6 hole 25mm length	$95.00	$140.00

Johnson & Johnson Medical Pty Ltd

JJ204	Bioplate Bone Plate 	Titanium cranial fixation system - straight	1.5mm diam, 11mm length; 	$95.00	Only to be funded where used in

plate, 2 hole 	pack of 5	a service for which a Medicare

Benefit is payable

JJ216	Bioplate Bio-100 Plate 	Titanium cranial fixation system, 2 hole	1.9mm diam; 15mm length pack	$95.00	Only to be funded where used in

of 5	a service for which a Medicare

Benefit is payable

JJ270	BIOPLATE Bone plate	Titanium straight plate, 2 hole, 5 per 	12mm in length	$95.00

pack, packaged non-sterile

JJ281	BIOPLATE Bone plate	Titanium BIO100, 2 hole plate, 5 per 	1.5mm - 1.9mm Diam, 14mm 	$95.00

pack, packaged non-sterile	length

Medical & Optical Instruments Australia Pty Ltd

MO250	Martin Microplate Osteosynthesis 	1.5mm Titanium Plate	2-6 Hole	$95.00	$226.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO283	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	2 hole, 0.6mm profile	$95.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC872	TiMesh Rigid Fixation Bone Grafting 	Titanium, Straight Plate	< 4 holes	$95.00	$150.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC908	Timesh	Rigid Straight Plates	< 4 holes	$95.00	$805.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 550 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SK356	Universal Neuro Titanium Low Profile 	Titanium Low Profile plates used for the 	2-hole plate, 12mm bar, 16mm 	$95.00	Only to be funded where used in

fixation of cranial bone plates	a service for which a Medicare

Benefit is payable

ST143	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x7-10mm, 0.55mm height	$95.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST204	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	2 holes, 0.55mm height	$95.00	Only to be funded where used in

straight Titanium	a service for which a Medicare

Benefit is payable

ST343	Leibinger Titanium Implant System	Leibinger 3D Plating System: micro 	3 holes	$95.00	Only to be funded where used in

triangular plate Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP075	Plates	Micro, Midface & Mini	Straight Plate - 2 Hole, Plate < 4 	$95.00	$120.00	Only to be funded where used in

holes.	a service for which a Medicare

Benefit is payable

SP101	Bioresorbable Fixation System	Plates	Neuro Fixation Set	$95.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Complex - Burr

Medtronic Australasia Pty Ltd

MC867	TiMesh Rigid Fixation Bone Grafting 	Titanium, Plate	Ohata Tristar 8.4 10mm, < 4 hole	$140.00	$335.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK267	Leibinger Titanium Implant System	Burr Hole Cover 1.0mm - 2.3mm	Diameter 7, 10, 14 & 20mm	$140.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Compression

Johnson & Johnson Medical Pty Ltd

JJ275	BIOPLATE Bone plate	Titanium cranial straight plate, 2 hole, 	1.5mm - 1.9mm diam, 14 - 	$140.00

packaged non-sterile	15mm length

Prostheses List by Category, Groups and Sponsor	Page 551 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY475	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm < 4 holes	$140.00	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Compression, Complex - Bur

Synthes Australia Pty Ltd

SY478	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm < 4 holes	$140.00	$280.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Compression, pack

Johnson & Johnson Medical Pty Ltd

JJ501	BIOPLATE Sterile Packs	813582, 2-Hole compression plate and 	1 kit	$399.00

screws - 1.9mm

JJ502	BIOPLATE Sterile Packs	813583, 2-Hole compression plate and 	1 kit	$140.00

screws - 1.9mm

Locking

Stryker Australia Pty Ltd

ST358	Leibinger Screws 	Leibinger - Salzburg Lag Screw System: 	2 holes	$86.00	Only to be funded where used in

locking plate, Titanium, with biconcave 	a service for which a Medicare

washers	Benefit is payable

Pack

Johnson & Johnson Medical Pty Ltd

JJ492	BIOPLATE Sterile Packs	813573, 2-Hole straight plate and screws 	1 kit	$453.00

- 1.5mm

JJ493	BIOPLATE Sterile Packs	813574, 2-Hole compression plate and 	1 kit	$453.00

screws - 1.5mm

JJ494	BIOPLATE Sterile Plates	813575, 2-Hole straight plate and screws 	1 kit	$400.00

- 1.5mm

JJ500	BIOPLATE Sterile Packs	813581, 2-Hole straight plate and screws 	1 kit	$340.00

- 1.9mm

JJ734	Bioplate - Two hole straight plate with 2	Sterile low profile kit -2 hole plate w/ 2 	11-19mm plates and 3-5mm 	$151.00	$159.00

self drilling screws sterile kit	self drill scews	self-drilling screws

JJ735	Bioplate - 2 x two hole straight plate 	Sterilised low profile kit containing 2 x 2 	11 - 19mm plates and 3-5mm 	$302.00	$318.00

with 4 self-drilling screws sterile kit	hole compression plates and 4 x self-	self drilling screws

Prostheses List by Category, Groups and Sponsor	Page 552 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SR040	Universal Quick Flap System	Sterile pack containing 3 x Titanium 2 	.	$543.00

hole plates (SK356), 6 x Viper self drilling

1.5 x 4mm screws (SK301)

SR041	Universal Quik Flap System	Sterile pack containing, 3 x Titanium 2 	.	$543.00

hole Plates (SK356), 6 x self-tapping

screws 1.5 x 4mm

Resorbable

Synthes Australia Pty Ltd

SY512	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	0.5 to 0.99mm thick,<4 holes	$180.00

reconstruction Plate

7.1.3.2.2 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, 4 to 7 holes

B Braun Australia Pty Ltd

BB305	Aesculap CranioPlate System/Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 6 hole 10 x 17 mm 	$170.00

Neuro, 6 hole rectangular	non biodegradable.  Consists of screws, 	rectangular

BB306	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 4 hole 10mm 	$170.00

Neuro, 4 hole square	non biodegradable.  Consists of screws,

BB307	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 4 hole 17 & 20 mm	$170.00

Neuro, 4 hole straight	non biodegradable.  Consists of screws, 	 straight

BB308	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 6 hole 15 & 17mm,	$170.00

Neuro, 6 hole double Y	non biodegradable.  Consists of screws, 	 double Y shape

BB309	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 5 hole 17mm, Y 	$170.00

neuro, 5 hole Y	non biodegradable.  Consists of screws,

BB313	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 6 hole x 16 & 	$170.00

Neuro, Burr hole cover 12 & 16mm	non biodegradable.  Consists of screws, 	20mm Burr hole cover

Biomet Australia Pty Ltd

BH010	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System` 	4-7 hole	$170.00	$248.00	Only to be funded where used in

Plate, all shapes, Titanium	a service for which a Medicare

Benefit is payable

BI348	W Lorenz Osteosynthesis System	L-Plate, 2mm System, Left or Right. 	2 x 2 hole, Mini or Low Profile	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI351	W Lorenz Osteosynthesis System	L-Plate, 2mm System, Left or Right. 	2 x 2 hole, long	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 553 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI605	W Lorenz Osteosynthesis System	Plate, Matrix, 1.0 or 1.5mm System, 	6 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI617	W Lorenz Osteosynthesis System	Plate, Straight, 1mm System. Titanium	4 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI620	W Lorenz Osteosynthesis System	Plate, Straight, low profile, 2.0mm 	4 - 8 hole	$170.00	$220.00	Only to be funded where used in

System, Titanium	a service for which a Medicare

Benefit is payable

BI621	W Lorenz Osteosynthesis System	Plate, L , 2.5mm or 2m system, Titanium	2 x2 or 3x3 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI622	W Lorenz Osteosynthesis System	Z-Shape Plate, Left or Right, 1.5mm or 	2 x 2 hole	$170.00	$220.00	Only to be funded where used in

2mm System. Titanium	a service for which a Medicare

Benefit is payable

BI623	W Lorenz Osteosynthesis System	T-Plate, Left or Right, 1.5mm System. 	3x3 hole, 7x7 hole	$170.00	$220.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

BI624	W Lorenz Osteosynthesis System	T-Plate 90 degrees, Left or Right, 2mm 	2x5hole, 3x3hole, 2x3hole	$170.00	$220.00	Only to be funded where used in

System. Titanium	a service for which a Medicare

Benefit is payable

BI625	W Lorenz Osteosynthesis System	Plate, Y, Double Y, X, 1.5mm System or 	One size only	$170.00	$220.00	Only to be funded where used in

2.0mm System, Titanium	a service for which a Medicare

Benefit is payable

BI627	W Lorenz Osteosynthesis System	Plate, Straight, 1.5mm System, Titanium	4 or 6 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI635	W Lorenz Osteosynthesis System	Plate, DoubleT, Double Y; 1mm, 2mm 	6,7,11 hole	$170.00	$220.00	Only to be funded where used in

system, Titanium	a service for which a Medicare

Benefit is payable

BI638	W Lorenz Osteosynthesis System	Plate, Orbital. 1mm System, Titanium	One size only	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI639	W Lorenz Osteosynthesis System	Plate, Square. 1mm System. Titanium	4 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 554 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI640	W Lorenz Osteosynthesis System	Plate, Matrix, 1.0 or 1.5mm System, 	6 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI656	W Lorenz Osteosynthesis System	Plate, Orbital, 1.5mm, 2.0mm System, 	6 hole	$170.00	$200.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

BI717	W Lorenz Osteosynthesis System	Neuro Gap Plate, Titanium	6 hole, 45mm length	$170.00	$220.00

BI720	W.Lorenz Osteosynthesis System	Neuro Gap Plate; titanium	6 hole, 35mm length	$170.00	$220.00

BI728	W.Lorenz Osteosynthesis System	Neuro Square or Rectangular Plate, titanium	1.5mm system, 4 hole	$170.00	$220.00

BI988	W Lorenz Osteosynthesis System	Plate Straight 2mm System	4 - 7 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ205	Bioplate Bone Plate 	Titanium cranial fixation system - straight	1.5mm - 1.9mm diam, 19mm 	$170.00	Only to be funded where used in

plate, 4 hole 	a service for which a Medicare

Benefit is payable

JJ206	Bioplate Bone Plate 	Titanium cranial fixation system - Y plate,	1.5mm diam, 17mm length	$170.00	Only to be funded where used in

5 hole	a service for which a Medicare

Benefit is payable

JJ207	Bioplate Bone Plate 	Titanium cranial fixation system - X plate,	1.5mm -1.9 diam, 17 - 18mm 	$170.00	Only to be funded where used in

6 hole	a service for which a Medicare

Benefit is payable

JJ208	Bioplate Bone Plate 	Titanium cranial fixation system - T plate,	1.5mm diam, 15mm length	$170.00	Only to be funded where used in

5 hole	a service for which a Medicare

Benefit is payable

JJ211	Bioplate Bone Plate 	Titanium cranial fixation system - box 	1.5mm - 1.9mm diam, 10 x 10mm	$170.00	Only to be funded where used in

car, 4 hole	a service for which a Medicare

Benefit is payable

JJ212	Bioplate Bone Plate 	Titanium cranial fixation system - box car	1.5mm diam, 8 x 17mm	$170.00	Only to be funded where used in

6 hole	a service for which a Medicare

Benefit is payable

JJ271	BIOPLATE Bone plate	Titanium Y plate, 5 hole, packaged non-	1.9mm diam, 19mm length	$170.00

JJ272	BIOPLATE Bone plate	Titanium T-plate, 5 hole, packaged non-	1.9mm diam, 16mm length	$170.00

JJ273	BIOPLATE Bone plate	Titanium boxcar plate, 6 hole, packaged 	1.9mm diam, 9 x 18mm	$170.00

non-sterile

Prostheses List by Category, Groups and Sponsor	Page 555 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ280	BIOPLATE Bone plate	Titanium large boxcar plate, 4 hole, 	1.5mm diam, 14 x 14mm length	$170.00

packaged non-sterile

Medical & Optical Instruments Australia Pty Ltd

MO285	Martin LevelOne Fixation	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes	$198.00	$355.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO286	Martin Miniplate Osteosynthesis System	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes	$246.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO296	Martin Miniplate Osteosynthesis System	2.0mm system plate straight angled shaped	4 -7 Hole,  0.6-1.0 mm thick	$170.00

MO297	Martin Level One Fixation	Plate Titanium	0.5 to 0.99mm thick, 4 to 7 holes	$170.00

Medtronic Australasia Pty Ltd

MC393	TiMesh Rigid Fixation Bone Grafting 	Titanium, Z Plate Left and Right	4 hole - 5mm, 9.5mm	$170.00	$250.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC519	TiMesh	Squareplate	4 holes x 1mm - 4 holes x 2.2mm	$170.00	$250.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC520	TiMesh	X Plate	4 holes x 1mm - 4 holes x 2.2mm	$170.00	$250.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC576	Timesh	Double Y Plates	3 Hole - 2.5mm - 7mm	$170.00	$900.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC870	TiMesh Rigid Fixation Bone Grafting 	Titanium, Y Plate Double and Single	4 - 7 hole	$170.00	$250.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC875	TiMesh Rigid Fixation Bone Grafting 	Titanium, T Plate	4 - 7 hole	$170.00	$250.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC883	TiMesh Rigid Fixation Bone Grafting 	Titanium, L Plate (Left and right 	4 to 7 holes	$170.00	$250.00	Only to be funded where used in

and Plating System	configurations)	a service for which a Medicare

Benefit is payable

MC885	TiMesh Rigid Fixation Bone Grafting 	Titanium, H Plate	4 - 7 hole	$170.00	$250.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 556 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC891	Macropore	Oblique Plates	4 to 7 holes	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC909	Timesh	Rigid Straight Plates	4 - 7 holes	$170.00	$805.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK259	Leibinger Titanium Implant System - 	Upperface Fixation Plates	7 Hole Double Y Plate 	$170.00	Only to be funded where used in

Universal CMF Plate	Upperface, malleable; 7 Hole 	a service for which a Medicare

Double Y Plate, Upperface	Benefit is payable

SK260	Leibinger Titanium Implant System - 	Upperface Fixation Plates	2x2 Hole 3-D Plate Upperface, 	$170.00	Only to be funded where used in

Universal CMF Plate	malleable; 2x2 Hole 3-D Plate, 	a service for which a Medicare

Upperface	Benefit is payable

SK261	Leibinger Titanium Implant System - 	Upperface Fixation Plates	6x2 Hole 3-D Plate Upperface, 	$170.00	Only to be funded where used in

Universal CMF Plate	malleable; 6x2 Hole 3-D Plate, 	a service for which a Medicare

Upperface	Benefit is payable

SK263	Leibinger Titanium Implant System - 	Upperface Fixation Plates	7 Hole T Plate, Upperface	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

SK264	Leibinger Titanium Implant System - 	Upperface Fixation Plates	4 Hole Orbita Plate, Upperface	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

SK270	Leibinger Titanium Implant System - 	Midface Fixation Plates	4 Hole Straight Plate with Bar, 	$170.00	Only to be funded where used in

Universal CMF Plate	Midface; 4 Hole Curved Plate 	a service for which a Medicare

with Bar, Midface	Benefit is payable

SK272	Leibinger Titanium Implant System - 	Midface Fixation Plates	5 Hole T Plate, Midface	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

SK273	Leibinger Titanium Implant System - 	Midface Fixation Plates	5 Hole Y Plate with 4mm Bar, 	$170.00	Only to be funded where used in

Universal CMF Plate	Midface	a service for which a Medicare

Benefit is payable

SK274	Leibinger Titanium Implant System - 	Midface Fixation Plates	7 Hole Double Y Plate, Midface	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

SK280	Leibinger Titanium Implant System - 	L Plates 100 Degree, Advancement 2 - 	5 - 6 Hole	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 557 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK282	Leibinger Titanium Implant System - 	L Plate 100 Degree  Advancement 12mm	5 - 6 Holes	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

SK283	Leibinger Titanium Implant System - 	Graduated Stability L Plates	5 Hole L Plate 2mm 	$170.00	Only to be funded where used in

Universal CMF Plate	Advancement 100 Degree Left, 	a service for which a Medicare

Midface, GSP; 5 Hole L Plate 	Benefit is payable

2mm Advancement 100 Degree

SK340	Leibinger Titanium Implant System - 	Z Plate, Right/Left	 4 holes	$170.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

SK349	Leibinger Titanium Implant System - 	Titanium plates used for reconstruction 	Universal CMF 4 hole Z plate, 	$170.00	Only to be funded where used in

Universal CMF Plate	and fixation of craniomaxillofacial 	Small, Orthognathic, locking. 	a service for which a Medicare

fractures or osteotomy performed for 	Universal CMF 4 hole Z plate, 	Benefit is payable

correction of facial deformity	Large, Orthognathic, locking.

SK363	Universal Neuro Titanium Low Profile 	Titanium Low Profile plates used for the 	8 hole plate without bar,  2 x 2 	$170.00	Only to be funded where used in

fixation of cranial bone flaps	box plate, double Y 6 hole 8mm	a service for which a Medicare

Benefit is payable

ST123	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	4 holes	$170.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST125	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	6 holes	$170.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST130	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: straight, 	5 holes	$170.00	Only to be funded where used in

L-shape, right/left Titanium	a service for which a Medicare

Benefit is payable

ST132	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: T-shape,	5 holes	$170.00	Only to be funded where used in

90 deg Titanium	a service for which a Medicare

Benefit is payable

ST133	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: T-shape,	7 holes	$170.00	Only to be funded where used in

90 deg Titanium	a service for which a Medicare

Benefit is payable

ST137	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Y-shape 	6 holes	$170.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST138	Leibinger Titanium Implant System	Micro Plus Bone plate: double-Y-shape	6 - 7 Holes	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 558 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST139	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-	7holes	$170.00	Only to be funded where used in

Y-shape Titanium	a service for which a Medicare

Benefit is payable

ST142	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x2-6mm, 0.55mm height	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST144	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x11-12mm, 0.55mm height	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST151	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	4 holes, 0.55mm height	$170.00	Only to be funded where used in

regular Titanium	a service for which a Medicare

Benefit is payable

ST154	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	6 holes, 0.55mm height	$170.00	Only to be funded where used in

regular Titanium	a service for which a Medicare

Benefit is payable

ST160	Leibinger Titanium Implant System	Bone plate L-shape, 90 deg, right/left	4 Holes	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST162	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-	4 holes, 8mm bar, 0.55mm 	$170.00	Only to be funded where used in

shape, 90 deg, with bar, right/left Titanium	a service for which a Medicare

Benefit is payable

ST164	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-	4 holes, 10mm bar, 0.55mm 	$170.00	Only to be funded where used in

shape, 90 deg, with bar, right/left Titanium	a service for which a Medicare

Benefit is payable

ST165	Leibinger Titanium Implant System	L-shape, right/left, with Bar	5 - 7 Hole	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST170	Leibinger Titanium Implant System	Bone plate T-shape with or without bar	4 HOLES	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST172	Leibinger Titanium Implant System	Mini Wurzburg Bone plate, T-shape	5 - 6 holes	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST180	Leibinger Titanium Implant System	Bone plate Y-shape,	5 HOLES	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 559 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST181	Leibinger Titanium Implant System	Mini Wurzburg Bone plate: T- Shape,  Y- 	5 - 6 holes	$170.00	Only to be funded where used in

Shape & Double -T- Shape	a service for which a Medicare

Benefit is payable

ST183	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	6 holes, 0.55mm height	$170.00	Only to be funded where used in

double-Y-shape, regular Titanium	a service for which a Medicare

Benefit is payable

ST184	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	6 holes, 8mm bar, 0.55mm 	$170.00	Only to be funded where used in

double-Y-shape, with bar Titanium	a service for which a Medicare

Benefit is payable

ST185	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	7 holes, 0.55mm height	$170.00	Only to be funded where used in

double-Y-shape, regular Titanium	a service for which a Medicare

Benefit is payable

ST188	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone 	4 holes, 6mm bar, 0.55mm 	$170.00	Only to be funded where used in

plate: curved, with bar Titanium	a service for which a Medicare

Benefit is payable

ST189	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone 	6 holes, 8mm bar, 0.55mm 	$170.00	Only to be funded where used in

plate: curved, with bar Titanium	a service for which a Medicare

Benefit is payable

ST190	Leibinger Titanium Implant System	LeibingerSteinhauser Orbita Bone plate: 	6 holes, 0.55mm height	$170.00	Only to be funded where used in

curved Titanium	a service for which a Medicare

Benefit is payable

ST195	Leibinger Titanium Implant System	Bone plate, L-shape, 110 deg, right/left 	4 holes	$170.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST197	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-	4 & 5 holes, with 12mm bar, 	$170.00	Only to be funded where used in

shape, 110 deg, regular, with bar,  	0.55mm height	a service for which a Medicare

right/left Titanium	Benefit is payable

ST198	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	2x2 holes, 0.55mm height	$170.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST199	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	3x2 holes, 0.55mm height	$170.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST231	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-	4 holes	$170.00	Only to be funded where used in

shape, 110 deg, regular Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 560 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST232	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-	4 holes, with 6mm, 8mm, 	$170.00	Only to be funded where used in

shape, 110 deg, right/left Titanium	a service for which a Medicare

Benefit is payable

ST233	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-	5 holes, with 12mm bar	$170.00	Only to be funded where used in

shape, 110 deg, right/left Titanium	a service for which a Medicare

Benefit is payable

ST311	Leibinger Titanium Implant System	Plate - Leibinger Low Profile 	4 holes	$170.00	Only to be funded where used in

Osteosynthesis System: mini, non-	a service for which a Medicare

compression / compression, straight, 	Benefit is payable

regular / extended, medium / long

ST314	Leibinger Titanium Implant System	Leibinger Low Profile Osteosynthesis 	4 holes	$170.00	Only to be funded where used in

System: L-shape, right/left, regular, 	a service for which a Medicare

medium, long Titanium	Benefit is payable

ST315	Leibinger Titanium Implant System	Leibinger Low Profile Osteosynthesis 	5 holes	$170.00	Only to be funded where used in

System: L-shape, right/left, long, 	a service for which a Medicare

extended Titanium	Benefit is payable

ST326	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: 	2x2 holes, 0.55mm profile	$170.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST327	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: 	2x3 holes, 0.55mm profile	$170.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST331	Leibinger Titanium Implant System	Leibinger Micro Bone plate Titanium	4 holes, 0.55mm profile	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST332	Leibinger Titanium Implant System	Leibinger Micro Bone plate Titanium	6 holes, 0.55mm profile	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST333	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight	6 holes, 0.55mm profile	$170.00	Only to be funded where used in

titanium	a service for which a Medicare

Benefit is payable

ST337	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: L-	5 holes, 0.55mm profile	$170.00	Only to be funded where used in

shape, right/left Titanium	a service for which a Medicare

Benefit is payable

ST339	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: T-	5, 7, 9 holes, 0.55mm profile	$170.00	Only to be funded where used in

shape, double-T-shape, right/left, 90 deg 	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 561 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST340	Leibinger Titanium Implant System	Leibinger Steinhauser Bone Plate: X-shape	4, 8, 9 holes, 0.55mm profile	$170.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST341	Leibinger Titanium Implant System	Leibinger Micro Bone Plate: Y-shape, 	6 holes, 0.55mm profile	$170.00	Only to be funded where used in

double-Y-shape Titanium	a service for which a Medicare

Benefit is payable

ST392	Luhr Fixation System 	Luhr Micro Fixation System: micro 	6 holes, 6x7mm	$170.00	Only to be funded where used in

double-T-shape plate Vitallium	a service for which a Medicare

Benefit is payable

ST393	Luhr Fixation System 	Luhr Micro Fixation System: micro 	7 holes, 10x10mm	$170.00	Only to be funded where used in

double-T-shape plate Vitallium	a service for which a Medicare

Benefit is payable

ST402	Luhr Fixation System 	Luhr Micro Fixation System: micro T-	6 holes, 14mm, 8 holes, 22mm	$170.00	Only to be funded where used in

shape plate Vitallium	a service for which a Medicare

Benefit is payable

ST412	Luhr Fixation System 	Luhr Pan Fixation System: condensed, 	4 holes x 12mm, 6 holes x 	$170.00	Only to be funded where used in

straight plate Vitallium	18mm, 12 holes x 36mm	a service for which a Medicare

Benefit is payable

ST415	Luhr Fixation System 	Luhr Pan Fixation System: L-shape plate, 	4 holes, 16 x 9mm, 22 x 9mm	$170.00	Only to be funded where used in

90 deg Vitallium	a service for which a Medicare

Benefit is payable

ST416	Luhr Fixation System 	Luhr Pan Fixation System: L-shape plate, 	4 holes, 16 x 9mm, 22 x 9mm	$170.00	Only to be funded where used in

110 deg Vitallium	a service for which a Medicare

Benefit is payable

ST417	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	4 holes, 21mm	$170.00	Only to be funded where used in

Vitallium	a service for which a Medicare

Benefit is payable

ST477	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, 	6 holes	$170.00	Only to be funded where used in

regular/long, with/without bar Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP074	Plates	Micro, Midface, Mini, BSSO, TR BSSO	4 Hole BSSO Plate Short, 	$165.00	Only to be funded where used in

Medium, Long; TR BSSO Plate, 	a service for which a Medicare

Short, Long; 4 & 6 Hole Straight	Benefit is payable

Plate 1.0mm thick, Plate 4 to 7

SP084	Plates	Mini & Maxi	4 & 5 Hole compression Plates 4	$185.00	$204.00	Only to be funded where used in

to 7 Holes	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 562 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SP087	Plates	Mini & Maxi	Zygomatic Plates, Pyriform 	$170.00	$204.00	Only to be funded where used in

Plates, Orthognathic, Y Plates, Y	a service for which a Medicare

Plate, H Plate, 5 Hole straight 	Benefit is payable

plate, 13mm & 16mm L Plate -

Left & Right, 19mm T Plate, X

Plate; 10mm Square Plate;

13mm, 15mm & 22mm L Plate

- Left & Right, 9mm & 11mm

ZED Plate - Left & Right,  4

Hole I Plate, 18mm 4 Hole

Straight Plate, 4 & 6 Hole

Straight Plate, Square Plate, X

Plate Extended. Double Y Plate

Extended; X Plate; Midface:

15mm 5 Hole Y Plate,  Double Y

Plate,  Straight Plate 5 Hole,

15mm, 18mm & 23mm L Plate

Right & Left, 26mm Y Plate,

15mm & 20mm Z Plate Right &

Left, 24mm Straight Plate,

16mm I Plate, 22mm T Plate,

Rigid 15mm, 18mm & 23mm L

Plate Right & Left, Rigid 26mm

Y Plate, 15mm & 20mm Z Plate

Right & Left, Rigid 24mm

Straight Plate, Rigid 16mm I

Plate, Rigid Double Y Plate,

Synthes Australia Pty Ltd

SY252	AO/ASIF Facio-Maxillary Plates	Flapfix - Plates for fixation of cranial 	10 - 20mm	$170.00	Only to be funded where used in

bone flaps	a service for which a Medicare

Benefit is payable

SY319	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile 	0.5 to 0.99mm 4 -7 holes	$170.00

neurosurgical plates

SY468	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

SY494	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile 	0.5 to 0.99 4 - 7 holes	$170.00

neurosurgical plates

Prostheses List by Category, Groups and Sponsor	Page 563 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Burr

Surgiplas Medical

SP072	Plates	Micro, Mini, Maxi	Burr Hole Plates, Calvarium 	$198.00	$280.00	Only to be funded where used in

Plate - Small & Large - 	a service for which a Medicare

Caivarium Plate, Plates 4 to 7 	Benefit is payable

Complex

Synthes Australia Pty Ltd

SY470	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes	$185.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Complex - Burr

Aus Systems Pty Ltd

AU014	Aus Systems Titanium Miniplates (Bone 	Low profile burr hole cover	10mm, 14mm, 18mm, 22mm	$198.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

Biomet Australia Pty Ltd

BI353	W Lorenz Osteosynthesis System	Plate, Burr Hole, 1mm, 1.5mm, 2mm 	13mm, 17mm, 18.5mm	$198.00	$250.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI721	W Lorenz Osteosynthesis System	Plate, Burr Hole, 1.5mm System, 	22mm, 25mm	$198.00	$250.00

Johnson & Johnson Medical Pty Ltd

JJ209	Bioplate Burr Hole Cover 	Titanium cranial fixation system - burr 	1.5mm  - 1.9 diam, screw 12 - 	$198.00	Only to be funded where used in

hole, 6 hole	18mm diam plate	a service for which a Medicare

Benefit is payable

JJ210	Bioplate Burr Hole Cover 	Titanium cranial fixation system - burr 	1.5mm diam, 18mm plate	$198.00	Only to be funded where used in

hole, 6 hole	a service for which a Medicare

Benefit is payable

JJ284	BIOPLATE Burr hole cover	1.9mm, titanium, flexible contoured burr 	1.5 - 1.9mm diam hole, 12-	$198.00

hole cover, packaged non-sterile	18mm diam plate

Medtronic Australasia Pty Ltd

MC868	TiMesh Rigid Fixation Bone Grafting 	Titanium, Plate	Fan Blade 11-18mm, Mesh 11-	$198.00	$335.00	Only to be funded where used in

and Plating System	25mm, 4 - 7 hole	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 564 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

ST141	Leibinger Titanium Implant System	Leibinger Burr Hole Cover: curved  	7, 10, 14mm	$198.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Complex - Burr, pack

Johnson & Johnson Medical Pty Ltd

JJ499	BIOPLATE Sterile Packs	813580, 6-Hole Burr Hole cover and 	1 kit	$438.00	$494.00

screws - 1.5mm

JJ507	BIOPLATE Sterile Packs	813588, 6-Hole Burr Hole Cover and 	1 kit	$434.00

Screws - 1.9mm

Complex - Chin

Biomet Australia Pty Ltd

BI591	W Lorenz Osteosynthesis System	Chin Plates, Paulus, 2mm System, Titanium	4 - 12mm	$246.00	$275.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI774	W Lorenz Osteosynthesis System	Lefort plate, 1.5mm system, 0.6mm 	Flat, 2-11mm	$246.00	$360.00	Only to be funded where used in

thickness, titanium	a service for which a Medicare

Benefit is payable.

Stryker Australia Pty Ltd

SK348	Leibinger Titanium Implant System - 	Titanium plates used for reconstruction 	Universal CMF 4 hole chin plate,	$246.00	Only to be funded where used in

Universal CMF Plate	and fixation of craniomaxillofacial 	 4mm. Universal CMF 4 hole 	a service for which a Medicare

fractures or osteotomy performed for 	chin plate, 6mm. Universal CMF	Benefit is payable

correction of facial deformity	 4 hole chin plate, 8mm.

Universal CMF 4 hole chin plate,

10mm. Universal CMF 4 hole

ST356	Leibinger Titanium Implant System	Paulus Chin plate Titanium	2, 4, 6, 8, 10, 12, 14mm bar, 	$246.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Complex - Cranium

Surgiplas Medical

SP070	Plates	Micro, Mini, Maxi	Gap Plates, Plates 4 to 7 holes	$280.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 565 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Complex - Orbital

Biomet Australia Pty Ltd

BI738	W.Lorenz Osteosynthesis System	Orbital Floor Plate; Titanium	1.5mm system, Large	$890.00	$1,080.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI740	W.Lorenz Osteosynthesis System	Orbital Floor Plate (Small) or NOE plate, 	Small or NOE plate	$890.00	$950.00	Only to be funded where used in

1.5mm System, Titanium	a service for which a Medicare

Benefit is payable

Compression

Biomet Australia Pty Ltd

BI349	W Lorenz Osteosynthesis System	Plate, Compression Straight, 2mm 	4 hole	$185.00	$220.00	Only to be funded where used in

System. Titanium	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST234	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Compression 	4 holes, with 6 x 1mm bar	$185.00	Only to be funded where used in

Bone plate: L-shape, C-shape Titanium	a service for which a Medicare

Benefit is payable

ST235	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Compression 	6 holes, with 8 x 1mm bar	$185.00	Only to be funded where used in

Bone plate: L-shape, C-shape Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP033	OsteoMed Plating & Fixation System	Compression Plates - Micro, Mini & Maxi	Micro: 2 x 3 Hole Compression 	$185.00	Only to be funded where used in

T Plate, Oblique Left & Right 	a service for which a Medicare

Compression T Plate, 4 Hole 	Benefit is payable.

Straight Compression Plate; 5

Hole Straight Plate, 13mm Left

& Right L Plate, 19mm T Plate,

2 x 3 Hole Quad Plate; Mini: 4

Hole Left & Right L Plate, 4

Synthes Australia Pty Ltd

SY473	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 4 to 7 holes	$185.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 566 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Locking

Stryker Australia Pty Ltd

SK289	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	2x2 Hole 3-D Plate, Midface, 	$195.00	Only to be funded where used in

Universal CMF Plate	Locking	a service for which a Medicare

Benefit is payable

SK291	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	5 Hole Y Plate with 4mm Bar, 	$195.00	Only to be funded where used in

Universal CMF Plate	Midface, Locking; 5 Hole Y 	a service for which a Medicare

Plate with 8mm Bar, Midface, 	Benefit is payable

SK292	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	7 Hole Double Y Plate, Midface, 	$195.00	Only to be funded where used in

Universal CMF Plate	locking	a service for which a Medicare

Benefit is payable

SK294	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	5 Hole L Plate 2mm 	$195.00	Only to be funded where used in

Universal CMF Plate	Advancement, Midface, locking;	a service for which a Medicare

5 Hole L Plate 5mm 	Benefit is payable

Advancement, Midface, locking

SK295	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	6 Hole L Plate 8mm 	$195.00	Only to be funded where used in

Universal CMF Plate	Advancement, Midface, locking;	a service for which a Medicare

6 Hole L-Plate 12mm 	Benefit is payable

Advancement, Midface, locking

Pack

Biomet Australia Pty Ltd

BI870	Neurological Packs	Plate & screws: Neuro pack Burr cover 	1.5mm or 2mm system	$543.00	$720.00

or multi plate set.  Thinflap 4 hole plus

Johnson & Johnson Medical Pty Ltd

JJ497	BIOPLATE Sterile Packs	813578, X-plate and screws - 1.5mm	1 kit	$376.00	$494.00

JJ498	BIOPLATE Sterile Packs	813579, 4-Hole plate and screws - 	1 kit	$330.00	$400.00

JJ505	BIOPLATE Sterile Packs	813586, X-plate and Screws - 1.9mm	1 kit	$410.00	$512.00

JJ506	BIOPLATE Sterile Packs	813587, Boxcar plate and screws - 	1 kit	$330.00	$364.00

Resorbable

Biomet Australia Pty Ltd

BH001	Lactosorb Resorbable 	Lactosorb Plates, 2mm System, All 	4 - 7 hole	$200.00	$304.00	Only to be funded where used in

Craniomaxillofacial Fixation System	shapes PGA/PLA	a service for which a Medicare

Benefit is payable

BI990	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	4 - 7 hole	$200.00	$360.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 567 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC550	Macropore	Rectangle Plates	4-8 hole	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC553	Macropore	Oblong Plates	6 - 8 hole	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC562	Macropore	Y Plates	7 hole	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC563	Macropore	Straight Plates	4 hole	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST517	Stryker Leibinger Resorbable Fixation 	Resorbable plate: box shape  Tripolymer	2x2 holes	$200.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

ST524	Stryker Leibinger Resorbable Fixation 	Resorbable plate: Y-shape Tripolymer	6 holes	$200.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY504	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	0.5 to 0.99mm thick, 4 to 7 holes	$200.00

reconstruction Plate

Resorbable, Complex - Orbital

Biomet Australia Pty Ltd

BI924	Lactosorb Resorbable 	Orbital Floor Plate, 1.5mm System, 	Left or right	$615.00	$750.00	Only to be funded where used in

Craniomaxillofacial Fixation System	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY391	PolyMax Resorbable Fixation System	1.5/2.0 Orbital Floor Plate	S, M, L	$615.00

7.1.3.2.3 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, 8 to 15 holes

Aus Systems Pty Ltd

AU005	Aus Systems Titanium Miniplates (Bone 	Low profile condensed	8 hole	$200.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 568 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

B Braun Australia Pty Ltd

BB310	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 8 hole 10 x 24 mm 	$200.00

Neuro, 8 hole rectangular	non biodegradable.  Consists of screws, 	rectangular

Biomet Australia Pty Ltd

BH011	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System, 	1.2, 1.7mm Small Fragment 	$200.00	$248.00	Only to be funded where used in

Plate, All shapes  Titanium	System, Plate, All shapes  	a service for which a Medicare

Benefit is payable

BI641	W Lorenz Osteosynthesis System	Plate, Matrix.  1mm System, 1.5mm 	2 x 4 hole	$200.00	$250.00	Only to be funded where used in

System. Titanium	a service for which a Medicare

Benefit is payable

BI658	W Lorenz Osteosynthesis System	Plate, Orbital. 1.5mm System, 2mm 	8-10 hole	$200.00	$248.00	Only to be funded where used in

System. Titanium	a service for which a Medicare

Benefit is payable

BI719	W Lorenz Osteosynthesis System	Neuro Sub-Temporal Plate, Titanium	medium	$200.00	$410.00

BI773	W Lorenz Osteosynthesis System	Neuro sub-temporal plate, 1.5 system, 	Small	$200.00	$283.00

titanium

BI989	W Lorenz Osteosynthesis System	Plate Straight, 2mm System	8 - 15 hole	$170.00	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ213	Bioplate Bone Plate 	Titanium cranial fixation system - box 	1.5mm diam, 10 x 24mm	$200.00	Only to be funded where used in

car, 8 hole	a service for which a Medicare

Benefit is payable

JJ274	BIOPLATE Bone plate	Titanium boxcar plate, 8 hole, packaged 	1.9mm diam, 11 x 25mm	$200.00	$287.00

non-sterile

JJ276	BIOPLATE Bone plate	Titanium curved plate, 8 hole, packaged 	1.5mm, 30mm length	$200.00

non-sterile

Medical & Optical Instruments Australia Pty Ltd

MO317	Martin Miniplate Osteosynthesis System	2.0mm Low profile Straight, 	0.5-0.99mm thick 8-15 hole	$200.00	$235.00	Only to be funded where used in

angled,shaped Plate Low Profile Titanium	a service for which a Medicare

Benefit is payable

MO318	Martin Miniplate Osteosynthesis System	2.0mm Low profile Straight, 	0.5-0.99mm thick 8-15 hole	$235.00	Only to be funded where used in

angled,shaped Plate Low Profile Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 569 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC678	TiMesh Rigid Fixation Bone Grafting 	Titanium, Universal Plate	12h	$200.00	$350.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC871	TiMesh Rigid Fixation Bone Grafting 	Titanium, Straight Plate	8-15 holes	$200.00	$350.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC873	TiMesh Rigid Fixation Bone Grafting 	Titanium, Straight Plate	8 - 15 hole	$200.00	$350.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC876	TiMesh Rigid Fixation Bone Grafting 	Titanium, T Plate	8 - 15 hole	$200.00	$350.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC884	TiMesh Rigid Fixation Bone Grafting 	Titanium, L Plate (Left and right 	8 - 15 hole	$200.00	$350.00	Only to be funded where used in

and Plating System	configurations)	a service for which a Medicare

Benefit is payable

MC886	TiMesh Rigid Fixation Bone Grafting 	Titanium, H Plate	8-15 hole	$200.00	$350.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC892	Macropore	Oblique Plates	8 to 15 holes	$215.00	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC910	Timesh	Rigid Straight Plates	8-15 holes	$200.00	$805.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK258	Leibinger Titanium Implant System - 	Upperface Fixation Plates	10 Hole Curved Plate Upperface,	$200.00	Only to be funded where used in

Universal CMF Plate	 malleable condensed; 10 hole 	a service for which a Medicare

Curved plate, Upperface	Benefit is payable

SK262	Leibinger Titanium Implant System - 	Uppeface Fixation Plates	8 Hole L Plate 90 Degree Left, 	$200.00	Only to be funded where used in

Universal CMF Plate	Upperface; 8 Hole L Plate 90 	a service for which a Medicare

Degree Right, Upperface	Benefit is payable

SK265	Leibinger Titanium Implant System - 	Upperface Fixation Plates	6x6 Hole 3-D Plate, Upperface; 	$200.00	Only to be funded where used in

Universal CMF Plate	6x6 Hole 3-D Plate Upperface, 	a service for which a Medicare

malleable	Benefit is payable

SK271	Leibinger Titanium Implant System - 	Midface Fixation Plates	10 Hole Curved Plate, Midface	$200.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 570 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST092	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x8 holes	$200.00	Only to be funded where used in

straight plate Titanium	a service for which a Medicare

Benefit is payable

ST126	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	8 holes	$200.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST127	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	12 holes	$200.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST131	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: straight, 	8 holes	$200.00	Only to be funded where used in

L-shape, right/left Titanium	a service for which a Medicare

Benefit is payable

ST135	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-	9 holes	$200.00	Only to be funded where used in

T-shape  Titanium	a service for which a Medicare

Benefit is payable

ST136	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-	14 holes	$200.00	Only to be funded where used in

T-shape  Titanium	a service for which a Medicare

Benefit is payable

ST140	Leibinger Titanium Implant System	Leibinger Micro, Micro Plus and Low 	8 holes	$200.00	Only to be funded where used in

Profile Bone plate: orbital plate, curved 	a service for which a Medicare

Benefit is payable

ST156	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	8 holes, 0.55mm height	$200.00	Only to be funded where used in

regular Titanium	a service for which a Medicare

Benefit is payable

ST167	Leibinger Titanium Implant System	Leibinger Steinhauser plate: L-shape, 	9 holes, 12mm bar, 0.55mm 	$200.00	Only to be funded where used in

right/left, with bar Titanium	a service for which a Medicare

Benefit is payable

ST171	Leibinger Titanium Implant System	Leibinger Steinhauser plate: T-shape, with	8 holes, 12mm bar, 0.55mm 	$200.00	Only to be funded where used in

bar Titanium	a service for which a Medicare

Benefit is payable

ST191	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone 	8 holes, 0.55mm height	$200.00	Only to be funded where used in

plate: curved Titanium	a service for which a Medicare

Benefit is payable

ST194	Leibinger Titanium Implant System	Leibinger Steinhauser Orbita Bone plate: 	10 holes, 0.55mm height	$200.00	Only to be funded where used in

curved Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 571 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST200	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	4x2 holes, 0.55mm height	$200.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST203	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Zygoma 	4x2 holes, 0.55mm height	$200.00	Only to be funded where used in

Bone plate: rectangular Titanium	a service for which a Medicare

Benefit is payable

ST312	Leibinger Titanium Implant System	Plate - Leibinger Low Profile 	8 holes	$200.00	Only to be funded where used in

Osteosynthesis System: mini, non-	a service for which a Medicare

compression, compression, straight, 	Benefit is payable

regular / extended, medium / long

ST328	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: 	2x4 holes, 0.55mm profile	$200.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST334	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight	8 holes, 0.55mm profile	$200.00	Only to be funded where used in

titanium	a service for which a Medicare

Benefit is payable

ST338	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: L-	8 holes, 0.55mm profile	$200.00	Only to be funded where used in

shape, right/left Titanium	a service for which a Medicare

Benefit is payable

ST342	Leibinger Titanium Implant System	Leibinger Steinhauser Bone Plate: Y-shape	8 holes, 0.55mm profile	$200.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST344	Leibinger Titanium Implant System	Leibinger 3D Plating System: micro 	8 holes	$200.00	Only to be funded where used in

circular plate Titanium	a service for which a Medicare

Benefit is payable

ST414	Luhr Fixation System 	Luhr Pan Fixation System: ladder plate 	10 holes, 39 x 9mm	$200.00	Only to be funded where used in

Vitallium	a service for which a Medicare

Benefit is payable

ST419	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	8 holes, 45mm	$200.00	Only to be funded where used in

Vitallium	a service for which a Medicare

Benefit is payable

ST478	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, long 	8 holes	$200.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST480	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: H and Y-	10, 12 holes	$200.00	Only to be funded where used in

shape nasal plate Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 572 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST518	Stryker Leibinger Resorbable Fixation 	Resorbable plate: curved plate 	8 holes	$200.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP077	Plates	Micro, Midface & Mini	Quad Plate, Quad Plate - Short, 	$210.00	Only to be funded where used in

Plate 8 to 15 holes.	a service for which a Medicare

Benefit is payable

SP082	Plates	Micro, Mini	Sub - Temporal Plates, Plates 8 	$287.00	$506.00	Only to be funded where used in

to 15 Holes	a service for which a Medicare

Benefit is payable

SP085	Plates	Mini & Maxi	Curved Plate, 8 Hole Straight 	$200.00	$204.00	Only to be funded where used in

Plate; Mini : 10 Hole Straight 	a service for which a Medicare

Plate,  Extended Y Plate, Rigid 	Benefit is payable

10 Hole Straight Plate, 12 Hole

Straight Plate, Y Plate - 13 Hole,

12 Hole Curved Plate, 10 Hole

Straight Plate; 10 Hole Curved

Plate, Straight Plate 10 Hole, Y

Plate 11 hole, Plates 8 to 15

holes.

Synthes Australia Pty Ltd

SY467	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$200.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

SY496	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile 	0.5 to 0.99mm 8 - 15 holes	$200.00

neurosurgical plates

3D

Surgiplas Medical

SP071	Plates	Micro, Mini, Maxi	Quad Plates, Medium 2 x 4 Hole	$210.00	$280.00	Only to be funded where used in

Quad Plate, Plates 8 to 15 holes	a service for which a Medicare

Benefit is payable

Complex

Synthes Australia Pty Ltd

SY469	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$210.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

SY477	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$280.00	$580.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 573 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Complex - LeFort

Stryker Australia Pty Ltd

SK345	Leibinger Titanium Implant System - 	Le Fort 1 Plate, Right/Left	11hole, Advancement 2 - 10mm	$287.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

Compression

Synthes Australia Pty Ltd

SY474	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 8 to 15 holes	$200.00	$500.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Stryker Australia Pty Ltd

SK288	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	8 Hole Curved Plate, Midface, 	$210.00	Only to be funded where used in

Universal CMF Plate	locking	a service for which a Medicare

Benefit is payable

SK290	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	2x6 Hole 3-D Plate, Midface, 	$210.00	Only to be funded where used in

Universal CMF Plate	Locking	a service for which a Medicare

Benefit is payable

SK293	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	8 Hole Y Plate, Midface, locking	$210.00	Only to be funded where used in

Universal CMF Plate	a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH002	Lactosorb Resorbable 	Lactosorb Plates, 2mm System, All 	8 - 15 hole	$215.00	$360.00	Only to be funded where used in

Craniomaxillofacial Fixation System	shapes PGA/PLA	a service for which a Medicare

Benefit is payable

BI991	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	8 - 15 hole	$215.00	$360.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC547	Macropore	Z Plates	10 hole	$215.00	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC559	Macropore	L Plates	8 hole, Left & Right	$215.00	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 574 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC564	Macropore	Straight Plates	8 hole	$215.00	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST520	Stryker Leibinger Resorbable Fixation 	Resorbable plate: ladder shape plate 	2x5 holes	$215.00	Only to be funded where used in

System	Tripolymer	a service for which a Medicare

Benefit is payable

ST521	Stryker Leibinger Resorbable Fixation 	Resorbable plate: straight Tripolymer	14 holes	$215.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

ST525	Stryker Leibinger Resorbable Fixation 	Resorbable plate: Y-shape Tripolymer	8 holes	$215.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY397	PolyMax Resorbable Fixation System	1.5 Burr Hole Cover	8 Hole	$215.00	$600.00

SY505	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	0.5 to 0.99mm thick, 8 to 15 	$215.00

reconstruction Plate

7.1.3.2.4 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, 16 to 32 holes

Aus Systems Pty Ltd

AU006	Aus Systems Titanium Miniplates (Bone 	Low profile	19 hole	$204.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

AU019	Aus Systems Titanium Miniplates (Bone 	16 & 19 hole	0.7mm & 1mm profile	$204.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

B Braun Australia Pty Ltd

BB317	Aesculap CranioPlate System/ Plate 	Cranial fixation system, internal fracture, 	Plate Neuro, 16 hole 63mm 	$204.00

Neuro, 16 hole straight	non biodegradable.  Consists of screws,

Biomet Australia Pty Ltd

BH012	W Lorenz Osteosynthesis System	1.2, 1.7mm Small Fragment System, 	1.2, 1.7mm Small Fragment 	$204.00	$350.00	Only to be funded where used in

Plate, All shapes  Titanium	System, Plate, All shapes  	a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ278	BIOPLATE Bone plate	Titanium cranial straight plate, 16 hole, 	1.5mm and 1.9mm diam, 63 - 	$204.00

packaged non-sterile	86 length

Prostheses List by Category, Groups and Sponsor	Page 575 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO284	Martin Miniplate Osteosynthesis System	2.0mm Systrem low profile	0.5-0.99mm thick 16-32 hole	$204.00	$320.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC874	TiMesh Rigid Fixation Bone Grafting 	Titanium, Straight Plate	16-32 hole	$204.00	$450.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

MC911	Timesh	Rigid Straight Plates	16-32 holes	$204.00	$805.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK255	Leibinger Titanium Implant System - 	Upperface Fixation Plates	24 Hole Straight Plate 	$204.00	Only to be funded where used in

Universal CMF Plate	Upperface, malleable condensed;	a service for which a Medicare

24 Hole Straight Plate Upperface	Benefit is payable.

SK257	Leibinger Titanium Implant System - 	Upperface Fixation Plates	18 Hole Straight, Upperface, 	$204.00	Only to be funded where used in

Universal CMF Plate	Malleable	a service for which a Medicare

Benefit is payable.

SK266	Leibinger Titanium Implant System - 	Upperface Fixation Plates	10x10 Hole 3-D plate Upperface,	$204.00	Only to be funded where used in

Universal CMF Plate	 malleable; 10x10 Hole 3-D 	a service for which a Medicare

plate, Upperface	Benefit is payable

SK269	Leibinger Titanium Implant System - 	Midface Fixation Plates	24 Hole Straight Plate Midface, 	$204.00	Only to be funded where used in

Universal CMF Plate	malleable condensed; 20 Hole 	a service for which a Medicare

Straight Plate Midface, 	Benefit is payable

malleable; 24 Hole Straight Plate

ST102	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.7mm, 17 holes	$204.00	Only to be funded where used in

bridging, plate, straight Titanium	a service for which a Medicare

Benefit is payable

ST128	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	16 holes	$204.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST129	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	24 holes	$204.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST157	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	16 holes, 0.55mm height	$204.00	Only to be funded where used in

regular Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 576 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST158	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: 	30 holes, 6mm bar, 0.55mm 	$204.00	Only to be funded where used in

regular Titanium	a service for which a Medicare

Benefit is payable

ST159	Leibinger Titanium Implant System	LeibingerSteinhauser plate: regular Titanium	30 holes, 6mm bar, 0.55mm 	$204.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST201	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	4x4 holes, 0.55mm, 0.55mm 	$204.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST202	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	6x4 holes, 0.55mm height	$204.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST329	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: 	4x4 holes, 0.55mm profile	$204.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST330	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: 	4x6 holes, 0.55mm profile	$204.00	Only to be funded where used in

square, rectangular Titanium	a service for which a Medicare

Benefit is payable

ST335	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight	16 holes, 0.55mm profile	$204.00	Only to be funded where used in

titanium	a service for which a Medicare

Benefit is payable

ST336	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight	24 holes, 0.55mm profile	$204.00	Only to be funded where used in

titanium	a service for which a Medicare

Benefit is payable

ST401	Luhr Fixation System 	Luhr Micro Fixation System: micro 	22 holes, 90mm	$204.00	Only to be funded where used in

straight plate Vitallium	a service for which a Medicare

Benefit is payable

ST420	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	16 holes, 93mm	$204.00	Only to be funded where used in

Vitallium	a service for which a Medicare

Benefit is payable

ST479	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, 	16 holes	$204.00	Only to be funded where used in

regular Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP083	Plates	Mini & Maxi	16 & 18 Hole Straight Plate, 18 	$204.00	Only to be funded where used in

Hole Straight Plate, Plates 15 to 	a service for which a Medicare

32 Holes	Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 577 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY495	CMF fracture or reconstruction plate	Titanium adaption plates - Low profile 	0.5 to 0.99mm 16 - 32 holes	$204.00

neurosurgical plates

Complex - Burr

Medtronic Australasia Pty Ltd

MC869	TiMesh Rigid Fixation Bone Grafting 	Titanium, Plate	Ohata Kerf Cover, 5 - 32 hole	$430.00	Only to be funded where used in

and Plating System	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK355	Universal Neuro Titanium Low Profile 	Titanium Low Profile plates used for the 	Small, large, 20mm burr hole, 	$430.00	Only to be funded where used in

fixation of cranial bone flaps	16 hole without bar	a service for which a Medicare

Benefit is payable

Compression

Synthes Australia Pty Ltd

SY476	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm 15 to 32 holes	$312.00	$620.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Stryker Australia Pty Ltd

SK287	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	16 Hole Straight Plate, Midface, 	$312.00	Only to be funded where used in

Universal CMF Plate	locking	a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH003	Lactosorb Resorbable 	Lactosorb Plates, 2mm System, All 	16-32 hole	$220.00	$380.00	Only to be funded where used in

Craniomaxillofacial Fixation System	shapes PGA/PLA	a service for which a Medicare

Benefit is payable

BI992	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	16 - 32 holes-	$220.00	$380.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC565	Macropore	Straight Plates	20 hole	$220.00	$450.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 578 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY513	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	0.5 to 0.99mm thick,15 to 32 	$220.00

reconstruction Plate

7.1.3.2.5 CMF Fracture or Reconstruction Plate, 0.5 to 0.99mm thick, >32 holes

Johnson & Johnson Medical Pty Ltd

JJ255	BIOPLATE Biomesh	Titanium, lattice, 48 hole, packaged non-	32 x 44mm	$300.00	$670.00

sterile

Surgiplas Medical

SP081	Plates	Micro, Mini	40 Hole Straight Plate, Mesh 18 	$300.00	$506.00	Only to be funded where used in

row, Plate >32 holes.	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY466	CMF fracture or reconstruction plate	Titanium adaption plates	0.5 to 0.99mm > 32 holes	$300.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH004	Lactosorb Resorbable 	Lactosorb Plates, 2mm System, All 	>32 hole	$380.00	$450.00	Only to be funded where used in

Craniomaxillofacial Fixation System	shapes PGA/PLA	a service for which a Medicare

Benefit is payable

BI993	Lactosorb Resorbable CMF System	Lactosorb Plates, 1.5mm System	32+ holes-	$380.00	$450.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY514	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	0.5 to 0.99mm thick,> 32 holes	$380.00

reconstruction Plate

7.1.3.3.1 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, <4 holes

Medical & Optical Instruments Australia Pty Ltd

MO054	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	2 hole, 1mm profile	$115.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 579 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

ST497	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction 	2 holes	$115.00	Only to be funded where used in

Plating System: straight bridging plate 	a service for which a Medicare

Benefit is payable

ST498	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction 	3 holes	$115.00	Only to be funded where used in

Plating System: straight bridging plate 	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY317	AO/ASIF Plate	Titanium Plate - straight	1.6mm Profile, 2-4 holes	$115.00

Resorbable

Synthes Australia Pty Ltd

SY506	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	1.0 to 1.99mm thick, <4 holes	$220.00

reconstruction Plate

7.1.3.3.2 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, 4 to 7 holes

Aus Systems Pty Ltd

AU002	Aus Systems Titanium Miniplates (Bone 	Low profile 2 & 4 hole	Short, medium, long	$165.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

AU007	Aus Systems Titanium Miniplates (Bone 	Low profile pre-shaped - Square, T, L, Y,	Short, medium, Long, 4 & 5 	$165.00	Only to be funded where used in

Plates)	 Y Double & X	a service for which a Medicare

Benefit is payable

AU018	Aus Systems Titanium Miniplates (Bone 	Strip plates, Titanium (M10 series)	1mm profile, 4 holes	$165.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

AU022	Aus Systems Titanium Miniplates (Bone 	Pre-shaped - L	Small, Medium, Long	$165.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

AU055	Aus Systems Titanium Miniplates (Bone 	Pre-shaped - T, T Double, Y	Small, Medium, Long, 4 & 5 hole	$165.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

AU056	Aus Systems Titanium Miniplates (Bone 	Pre-shaped - Y Double	Small, Medium, Long	$165.00	Only to be funded where used in

Plates)	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 580 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biomet Australia Pty Ltd

BH008	W Lorenz Osteosynthesis System	2.3mm Small Fragment System` Plate, all 	2.3mm Small Fragment System`	$165.00	$248.00	Only to be funded where used in

shapes, Titanium	 Plate, all shapes, Titanium	a service for which a Medicare

Benefit is payable

BH026	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular 	4 - 7 hole	$165.00	$200.00	Only to be funded where used in

System, Titanium	a service for which a Medicare

Benefit is payable

BH028	Manibular Fracture System	Plates, matrix shape, 2.0 mandibular 	4 or 6 hole	$165.00	$207.00	Only to be funded where used in

system. Titanium	a service for which a Medicare

Benefit is payable

BI385	W Lorenz Osteosynthesis System	Plate 2mm System	4-7 hole	$165.00	$629.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI755	Mandibular Fracture System	Plates, Y Shapek, 2.0 Mandibular 	5 hole long, 5 hole medium, 5 	$165.00	$210.00	Only to be funded where used in

Fracture System, Titanium	hole regular	a service for which a Medicare

Benefit is payable

BI761	Mandibular Fracture System	Plates, V Shape, 2.0 Mandibular Fracture 	6 hole	$165.00	$200.00	Only to be funded where used in

System, Titanium	a service for which a Medicare

Benefit is payable

BI764	Mandibular Fracture System	Plates, 2.0 / 2.4 Mandibular Fracture 	4-7 hole	$165.00	$373.00	Only to be funded where used in

System, Titanium	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO282	Martin Mandibular Fracture System	2mm Straight, angled,shaped Plate Titanium	4-7 hole	$165.00	Only to be funded where used in

1.0 to 1.99mm thick	a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC514	TiMesh	Mandibular Angle, Left/Right	One size only	$165.00	$1,010.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC517	TiMesh	Mandibular "J" Plate	One size only	$165.00	$400.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK134	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Mini Plate, 	$165.00	Only to be funded where used in

Universal Mandible Mini Plate	fixation of mandibular fractures and 	4-6 holes with/without Bar	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 581 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST446	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 	4 hole x 35mm	$165.00	Only to be funded where used in

straight Titanium	a service for which a Medicare

Benefit is payable

ST447	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 45 	4 holes, 40mm	$165.00	Only to be funded where used in

deg plate Titanium	a service for which a Medicare

Benefit is payable

ST448	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 45 	4 holes, 50mm	$165.00	Only to be funded where used in

deg Titanium	a service for which a Medicare

Benefit is payable

ST452	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 	6 holes	$165.00	Only to be funded where used in

angled, 60 deg Titanium	a service for which a Medicare

Benefit is payable

ST481	Wurzburg Bone Plates	Wurzburg Bone plate: double-T-shape,  	4, 6 holes	$165.00	Only to be funded where used in

with/without bar, 90 deg, regular/short 	a service for which a Medicare

Titanium	Benefit is payable

ST482	Wurzburg Bone Plates	Wurzburg Bone plate: double-Y-shape , 	6, 8 holes	$165.00	Only to be funded where used in

with/without bar,  short/long/long 	a service for which a Medicare

extended Titanium	Benefit is payable

ST483	Wurzburg Bone Plates	Wurzburg Bone plate: double-Y-shape, no	7 holes	$165.00	Only to be funded where used in

bridge Titanium	a service for which a Medicare

Benefit is payable

ST484	Wurzburg Bone Plates	L-shape, right/left, Titanium	4 - 5 holes	$165.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST486	Wurzburg Bone Plates	Wurzburg Bone plate: T-shape, 	5, 6 holes	$165.00	Only to be funded where used in

with/without bar, 90 deg, regular/long 	a service for which a Medicare

Benefit is payable

ST487	Wurzburg Bone Plates	Wurzburg Bone plate: T-shape, long, 80 	5 holes	$165.00	Only to be funded where used in

deg, long, right/left Titanium	a service for which a Medicare

Benefit is payable

ST488	Wurzburg Bone Plates	Wurzburg Bone plate: Y-shape plate, 	5 holes	$165.00	Only to be funded where used in

regular/long Titanium	a service for which a Medicare

Benefit is payable

ST489	Wurzburg Bone Plates	Wurzburg Bone plate: Z-shape plate, 	4 holes	$165.00	Only to be funded where used in

100/110 deg, right/left Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 582 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST491	Wurzburg Bone Plates	Leibinger 3D Plating System: square 	2x2 holes	$165.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST492	Wurzburg Bone Plates	Leibinger 3D Plating System: rectangular 	2x2 holes, 1mm thick	$165.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST493	Wurzburg Bone Plates	Leibinger 3D Plating System:  square 	3x2 holes, 1mm thick	$165.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST500	Wurzburg Bone Plates	Wurburg Mandibular Reconstruction 	5 holes	$165.00	Only to be funded where used in

Plating System: straight bridging plate 	a service for which a Medicare

Benefit is payable

ST501	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction 	6 holes	$165.00	Only to be funded where used in

Plating System: straight bridging plate 	a service for which a Medicare

Benefit is payable

ST502	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction 	7 holes	$165.00	Only to be funded where used in

Plating System: straight  Titanium	a service for which a Medicare

Benefit is payable

3D

Surgiplas Medical

SP073	Plates	Micro, Midface, Mini, BSSO, TR BSSO	2 x 3 Hole Quad Plate, Plate 4 to	$185.00	Only to be funded where used in

7 holes.	a service for which a Medicare

Benefit is payable

Complex

Stryker Australia Pty Ltd

SK131	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Fracture 	$350.00	Only to be funded where used in

Universal Mandible Fracture Plate	fixation of mandibular fractures and 	Plate, C-shaped, 4 holes	a service for which a Medicare

Benefit is payable.

SK132	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Fracture 	$350.00	Only to be funded where used in

Universal Mandible Fracture Plate	fixation of mandibular fractures and 	Plate, Angled Shaped, 6 holes, 	a service for which a Medicare

115-140 deg	Benefit is payable.

Complex - Chin

Medical & Optical Instruments Australia Pty Ltd

MO224	Martin Fixation Device Internal - Plate	Lindorf chin plate. 1.0 0 1.99 thick. 4 - 7 	1.5mm diameter system	$350.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 583 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Surgiplas Medical

SP018	Plates	Micro, Midface, Mini & Maxi	Chin Plate 2, 3, 4, 6, 8, 10 & 	$350.00	Only to be funded where used in

12mm, Plates 4 to 7 holes.	a service for which a Medicare

Benefit is payable

Complex - Condylar

Stryker Australia Pty Ltd

SK389	Universal System	Condylar Prosthesis	Left/Right	$990.00

Compression

Biomet Australia Pty Ltd

BI754	Mandibular Fracture System	Plates, Compression, 2.0 Mandibular 	4 hole	$295.00	$350.00	Only to be funded where used in

Fracture System, Titanium	a service for which a Medicare

Benefit is payable

BI756	Mandibular Fracture System	Plates, Compression, 2.0 Mandibular 	4-6 hole	$295.00	$320.00	Only to be funded where used in

Fracture System, Titanium	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK129	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Compression	$295.00	Only to be funded where used in

Universal Mandible Compression Plate	fixation of mandibular fractures and 	 Plate, 4-6 Holes	a service for which a Medicare

Benefit is payable.

Surgiplas Medical

SP028	OsteoMed Plating & Fixation System	Plates - Fracture	4 hole Fracture Plate 32 -37mm;	$295.00	Only to be funded where used in

EDC Plate 32mm & 34mm	a service for which a Medicare

Benefit is payable.

SP034	OsteoMed Plating & Fixation System	Compression Plates - Maxi	Maxi: 4, 5 & 6 Hole Straight Plate	$295.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Synthes Australia Pty Ltd

SY498	CMF fracture or reconstruction plate	Mandible Plate, non-locking	1.0 to 1.99mm thick, 4 to 7 holes	$295.00	$720.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Stryker Australia Pty Ltd

SK133	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Fracture 	$470.00	Only to be funded where used in

Universal Mandible Fracture Plate	fixation of mandibular fractures and 	Plate, 4-6 holes with/without Bar	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 584 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK144	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 3D Plate, 4 x	$470.00	Only to be funded where used in

Universal Mandible 3D Plate	fixation of mandibular fractures and 	 2 Hole Square	a service for which a Medicare

Benefit is payable.

SK145	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 3D Plate, 3 x	$470.00	Only to be funded where used in

Universal Mandible 3D Plate	fixation of mandibular fractures and 	 2 Hole Rectangle	a service for which a Medicare

Benefit is payable.

Surgiplas Medical

SP027	OsteoMed Plating & Fixation System	Plates - Fracture	8 Hole Fracture Plate, 4 & 6 	$470.00	Only to be funded where used in

hole locking fracture plate.	a service for which a Medicare

Benefit is payable.

Synthes Australia Pty Ltd

SY486	CMF fracture or reconstruction plate	Titanium mandible locking plate - 	1.0 to 1.99mm 4 to 7 holes	$470.00	$540.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

SY491	CMF fracture or reconstruction plate	Titanium Mandibular locking 	1.0 to 1.99 4 to 7 holes	$470.00	$1,030.00	Only to be funded where used in

reconstruction plates - complex shape	a service for which a Medicare

Benefit is payable

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO185	Resorb-X Plates	Resorb-X Osteosynthesis System, 	4 - 8 hole	$260.00	$360.00	Only to be funded where used in

Resorbable straight plate	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST519	Stryker Leibinger Resorbable Fixation 	Resorbable plate: L-shape plate, 110 deg, 	7 holes	$260.00	Only to be funded where used in

System	right/left Tripoymer	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP102	Bioresorbable Fixation System	Plates	L Plate Left & Right, "T" Plate, 	$260.00	$340.00	Only to be funded where used in

Double "Y" Plate Short, 4 Hole 	a service for which a Medicare

straight Plate, Square Plate, 	Benefit is payable

Plates 4 to 7 holes

Synthes Australia Pty Ltd

SY507	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	1.0 to 1.99mm thick, 4 to 7 holes	$260.00

reconstruction Plate

Prostheses List by Category, Groups and Sponsor	Page 585 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Resorbable, Complex

Medtronic Australasia Pty Ltd

MC567	Macropore	Clover Leaf Plates	4 hole	$260.00	$450.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.3.3.3 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, 8 to 15 holes

Biomet Australia Pty Ltd

BH009	W Lorenz Osteosynthesis System	2.3mm Small Fragment System, Plate, All	8-15 hole	$450.00	$600.00	Only to be funded where used in

shapes  Titanium	a service for which a Medicare

Benefit is payable

BH027	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular 	8 hole	$450.00	$600.00	Only to be funded where used in

System, Titanium	a service for which a Medicare

Benefit is payable

BH029	Mandibular Fracture System	Plates, matrix shape, 2.0 mandibular 	8 to 16 hole	$450.00	$600.00	Only to be funded where used in

system. Titanium	a service for which a Medicare

Benefit is payable

BI767	Mandibular Fracture System	Plates, Straight, 2.0 Mandibular Fracture 	8-15 hole	$450.00	$600.00	Only to be funded where used in

System, Titanium	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO313	Martin Mandibular Fracture System	2.0mm and 2.3mm titanium plates	8-15 hole            1.0 - 1.99mm 	$450.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO314	Resorb-X Plates	Resorb-X Osteosynthesis System, 	8-15 hole 1.0 - 1.99mm thick	$320.00	$480.00	Only to be funded where used in

Resorbable straight plate angled shaped	a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC522	TiMesh	Curved Plate:  Standard, Rigid, Left, Right	1mm x 12 holes	$450.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

ST449	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 	8 holes, 60mm	$450.00	Only to be funded where used in

straight Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 586 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST450	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 	8 holes, 70mm	$450.00	Only to be funded where used in

straight Titanium	a service for which a Medicare

Benefit is payable

ST494	Wurzburg Bone Plates	Leibinger 3D Plating System:  square, 	4x2 holes, 1mm thick	$450.00	Only to be funded where used in

rectangular Titanium	a service for which a Medicare

Benefit is payable

ST507	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction 	9 holes	$450.00	Only to be funded where used in

Plating System: total mandible bridging 	a service for which a Medicare

plate Titanium	Benefit is payable

Surgiplas Medical

SP086	Plates	Mini & Maxi	12 Hole Straight Plate 1.0 mm 	$450.00	Only to be funded where used in

thick, 8 Hole Straight Plate 1.0 	a service for which a Medicare

mm thick, Plates 8 to 15 holes	Benefit is payable

Complex - LeFort

Medical & Optical Instruments Australia Pty Ltd

MO023	Martin Microplate Osteosynthesis System	Lindorf Plate	0 to11mm	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Stryker Australia Pty Ltd

SK130	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Fracture 	$645.00	Only to be funded where used in

Universal Mandible Fracture Plate	fixation of mandibular fractures and 	Plate, 14 Holes	a service for which a Medicare

Benefit is payable.

SK139	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 3D Plate, 	$645.00	Only to be funded where used in

Universal Mandible 3D Plate	fixation of mandibular fractures and 	(Full), 6 x 2 Hole, Curved, 	a service for which a Medicare

Benefit is payable.

Synthes Australia Pty Ltd

SY487	CMF fracture or reconstruction plate	Titanium mandible locking plate	1.0 to 1.99mm 8 to 15 holes	$645.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

SY492	CMF fracture or reconstruction plate	Titanium Mandibular locking 	1.0 to 1.99mm 8 to 15 holes	$645.00	$1,200.00	Only to be funded where used in

reconstruction plates - complex shape	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 587 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Resorbable

Medtronic Australasia Pty Ltd

MC566	Macropore	C Plates	8 hole	$320.00	$550.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP103	Bioresorbable Fixation System	Plates	Y Plate Long, 8 Hole straight 	$320.00	$340.00	Only to be funded where used in

Plate, Plates 8 to 15 holes	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY508	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	1.0 to 1.99mm thick, 8 to 15 	$320.00

reconstruction Plate

Resorbable, Complex

Surgiplas Medical

SP104	Bioresorbable Fixation System	Plates	Orbital Plate, Plates 8 to 15 holes	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable, Complex - Orbital

Medical & Optical Instruments Australia Pty Ltd

MO186	Martin Level One Fixation Resorb x & 	Plate PDLLA (resorbable)	1.0 to 1.99mm thick,8 to 15 	$420.00	Only to be funded where used in

SonicWeld	a service for which a Medicare

Benefit is payable

7.1.3.3.4 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, 16 to 32 holes

Biomet Australia Pty Ltd

BI762	Mandibular Fracture System	Plates, 2.4 Mandibular Fracture System, 	16 - 24 Hole	$770.00	$1,000.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO295	Martin Level One Fixation	Plate Titanium	1.0 to 1.99mm thick, 16 to 32 	$770.00

Stryker Australia Pty Ltd

ST451	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 	16 holes, 120mm	$770.00	Only to be funded where used in

straight Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 588 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST495	Wurzburg Bone Plates	Leibinger 3D Plating System: rectangular 	4x4 holes, 1mm thick	$770.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

ST496	Wurzburg Bone Plates	Leibinger 3D Plating System:  square, 	6x4 holes, 1mm thick	$770.00	Only to be funded where used in

rectangular Titanium	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP067	Plates	Micro, Mini, Maxi	16 Hole Straigh Plate, 1.0mm 	$770.00	Only to be funded where used in

thinck, Plate 15 to 32 holes	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY493	CMF fracture or reconstruction plate	Titanium Mandibular locking 	1.0 to 1.99 15 to 32 holes	$818.00	$1,400.00	Only to be funded where used in

reconstruction plates - complex shape	a service for which a Medicare

Benefit is payable

3D

Medical & Optical Instruments Australia Pty Ltd

MO294	Martin Mandibular Fracture System	Pre-Formed 3 D Titanium Mandibular 	2.3mm angled, symphysis and 	$818.00	$992.00

Reconstruction Plate	straight plate; 16-32 holes

Locking

Stryker Australia Pty Ltd

SK135	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Mini Plate, 	$818.00	Only to be funded where used in

Universal Mandible Mini Plate	fixation of mandibular fractures and 	16 holes	a service for which a Medicare

Benefit is payable.

SK136	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Primary 	$818.00	Only to be funded where used in

Universal Mandible Primary 	fixation of mandibular fractures and 	Reconstruction Plate, (Hemi) 	a service for which a Medicare

Reconstruction Plate	Left and Right 5+17 holes, with 	Benefit is payable.

SK137	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible Primary 	$818.00	Only to be funded where used in

Universal Mandible Primary 	fixation of mandibular fractures and 	Reconstruction Plate, 11-17 	a service for which a Medicare

Reconstruction Plate	holes, with template	Benefit is payable.

SK143	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 	$818.00	Only to be funded where used in

Universal Mandible Reconstruction Plate	fixation of mandibular fractures and 	Reconstruction Plate, (Full), 6 +	a service for which a Medicare

15 + 6 holes, with template	Benefit is payable.

SK296	Leibinger Titanium Implant System - 	Mandible Plates	4 hole 2.3mm Compression 	$818.00	Only to be funded where used in

Universal CMF Plate	Plate; 6 Hole 2.3mm 	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 589 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK298	Leibinger Titanium Implant System - 	Mandible Plates	4-6 Hole, Straight Plate, 	$818.00	Only to be funded where used in

Universal CMF Plate	with/without bar, locking	a service for which a Medicare

Benefit is payable

Resorbable

Medical & Optical Instruments Australia Pty Ltd

MO293	Martin Mandibular Fracture System	1.5/2.0mm System Straight  angled, 	16-32  hole         1.0-1.99mm 	$345.00	$770.00

shaped Plate Titanium

Synthes Australia Pty Ltd

SY509	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	1.0 to 1.99mm thick, 15 to 32 	$345.00

reconstruction Plate

SY510	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	1.0 to 1.99mm thick,15 to 32 	$345.00

reconstruction Plate

7.1.3.3.5 CMF Fracture or Reconstruction Plate, 1.0 to 1.99mm thick, >32 holes

Surgiplas Medical

SP099	Bioresorbable Fixation System	Plates	Comminution Plate, Plates 1.0 to	$420.00	$644.00	Only to be funded where used in

1.99mm thick, >32 holes	a service for which a Medicare

Benefit is payable

Resorbable

Synthes Australia Pty Ltd

SY511	CMF Rapid Resorbable fracture or 	Sterile Rapid resorbable reconstruction 	1.0 to 1.99mm thick,> 32 holes	$420.00

reconstruction Plate

7.1.3.4.2 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, 4 to 7 holes

Compression

Synthes Australia Pty Ltd

SY499	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 4 to 7 holes	$720.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH005	Lorenz 2.4mm Locking Reconstruction 	Plate, Straight, 2.4mm System, Locking. 	4-7 hole	$620.00	$900.00	Only to be funded where used in

System	Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 590 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.3.4.3 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, 8 to 15 holes

Compression

Synthes Australia Pty Ltd

SY497	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 8 to 15 	$780.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Biomet Australia Pty Ltd

BI447	Lorenz 2.4mm Locking Reconstruction 	Plate, Curved, Std Thickness, 2.4mm 	8 or 15 hole	$490.00	$950.00	Only to be funded where used in

System	System, Titanium	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK140	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 	$490.00	Only to be funded where used in

Universal Mandible Reconstruction Plate	fixation of mandibular fractures and 	Reconstruction Plate, 11 - 17 	a service for which a Medicare

holes, straight with template	Benefit is payable.

Resorbable

Biomet Australia Pty Ltd

BH006	Lorenz 2.4mm Locking Reconstruction 	Plate, Straight, 2.4mm System, Locking. 	8 - 15 hole	$490.00	$950.00	Only to be funded where used in

System	Titanium	a service for which a Medicare

Benefit is payable

7.1.3.4.4 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, 16 to 32 holes

Compression

Synthes Australia Pty Ltd

SY500	CMF fracture or reconstruction plate	Mandible Plate, non-locking	2.0 to 2.99mm thick, 15 to 32 	$900.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Biomet Australia Pty Ltd

BI448	Lorenz 2.4mm Locking Reconstruction 	Plate, curved, std or low profile, 2.4mm 	16-32 hole	$1,100.00	$1,500.00	Only to be funded where used in

System	system, titanium	a service for which a Medicare

Benefit is payable

BI452	Lorenz 2.4mm Locking Reconstruction 	Plate, curved. Std or low profile, 2.4mm 	16 hole	$1,100.00	$1,300.00	Only to be funded where used in

System	System, Titanium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 591 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI455	Lorenz 2.4mm Locking Reconstruction 	Plate, Double Angled, 2.0 or 2.4mm 	5 x (22 or 24) x 5 hole	$1,100.00	$1,600.00	Only to be funded where used in

System	System, Titanium	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK138	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 	$1,100.00	Only to be funded where used in

Universal Mandible Reconstruction Plate	fixation of mandibular fractures and 	Reconstruction Plate, (Full), 6 +	a service for which a Medicare

13 + 6 holes, with template	Benefit is payable.

SK141	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 	$1,100.00	Only to be funded where used in

Universal Mandible Reconstruction Plate	fixation of mandibular fractures and 	Reconstruction Plate, (Hemi), 	a service for which a Medicare

Right and Left, 6 + 17 holes 	Benefit is payable.

SK142	Leibinger Titanium Implant System - 	Items used for reconstruction and 	Universal Mandible 	$1,100.00	Only to be funded where used in

Universal Mandible Reconstruction Plate	fixation of mandibular fractures and 	Reconstruction Plate, (Full), 6 +	a service for which a Medicare

17 + 6 holes, with template	Benefit is payable.

Surgiplas Medical

SP026	OsteoMed Plating & Fixation System	Plates - Fracture	Rigid Comminuted Fracture 	$1,100.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Synthes Australia Pty Ltd

SY471	CMF fracture or reconstruction plate	Titanium mandibular locking 	2.0 to 2.99mm 15 to 32 holes	$1,100.00	Only to be funded where used in

reconstruction plates	a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BH007	Lorenz 2.4mm Locking Reconstruction 	Plate, Straight, 2.4mm System, Locking. 	16-32 hole	$1,100.00	$1,500.00	Only to be funded where used in

System	Titanium	a service for which a Medicare

Benefit is payable

7.1.3.4.5 CMF Fracture or Reconstruction Plate, 2.0 to 2.99mm thick, >32 holes

Locking

Synthes Australia Pty Ltd

SY472	CMF fracture or reconstruction plate	Titanium mandibular locking 	2.0 to 2.99mm > 32 holes	$1,450.00	Only to be funded where used in

reconstruction plates	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 592 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.3.5.2 CMF Fracture or Reconstruction Plate, =>3mm thick, 4 to 7 holes

Complex, Locking

Synthes Australia Pty Ltd

SY550	Titanium Sternal Fixation System	Locking Plate - Star	Star: 6 holes	$820.00	$1,480.00

7.1.3.5.3 CMF Fracture or Reconstruction Plate, =>3mm thick, 8 to 15 holes

Complex, Locking

Synthes Australia Pty Ltd

SY551	Titanium Sternal Fixation System	Locking Plate - Straight , H or Star	Straight: 12holes, H: small & 	$1,480.00

large, Star: 12 holes

Locking

Medical & Optical Instruments Australia Pty Ltd

MO002	Martin Mandibular Fracture System	2.7mm Threadlock System, angled and 	=>3mm thick, 2.7mm 	$630.00	Only to be funded where used in

straight plates, titanium	threadlock system	a service for which a Medicare

Benefit is payable

7.1.3.5.4 CMF Fracture or Reconstruction Plate, =>3mm thick, 16 to 32 holes

Complex, Locking

Synthes Australia Pty Ltd

SY347	Titanium Sternal Fixation System	Locking Plate - straight	20 or 30 holes	$1,670.00	$1,800.00

Compression

Synthes Australia Pty Ltd

SY501	CMF fracture or reconstruction plate	Mandible Plate, non-locking	>3mm thick, 15 to 32 holes	$1,350.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Locking

Medical & Optical Instruments Australia Pty Ltd

MO004	Martin Mandibular Fracture System	Threadlock 2.7mm System, angled and 	16 - 32 hole =>3mm thick, 	$1,420.00	Only to be funded where used in

straight plates	2.7mm threadlock system	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 593 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.4 Screw, CMF and Small fragment

7.1.4.1 Bone Reconstruction and Fixation, General, Screw, CMF and Small fragment,

Advanced Surgical Design & Manufacture Ltd

AE007	MF-Cortex Screw	Titanium	1.0 - 2.7mm dia,  length 2 - 40mm	$70.00

Biomet Australia Pty Ltd

BH013	W Lorenz Osteosynthesis System	Small Fragment Titanium System, Titanium	Screw, 1.2mm diameter, 1.4mm	$70.00	$80.00	Only to be funded where used in

diameter	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO287	Martin Level One Fixation	Screw Titanium	diameter <1.24mm	$70.00	$75.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC574	Timesh	X-Drive Screws	2 - 15mm	$70.00	$76.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC879	TiMesh Rigid Fixation Bone Grafting 	Titanium, Screw - Cruciate Head, 12 	Diameter <1.24mm	$70.00	$76.00	Only to be funded where used in

and Plating System	point Flat Head	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK299	Leibinger Screw (Various) - Universal 	1.2mm Diameter, 3-12mm 	$70.00	Only to be funded where used in

CMF Screws	Length; 1.4mm Diameter 3-	a service for which a Medicare

Benefit is payable

SK300	Leibinger Screw (Various) - Universal 	Self Drilling, 1.2mm Diameter, 	$70.00	Only to be funded where used in

CMF Screws	3-4mm Length	a service for which a Medicare

Benefit is payable

ST110	Stryker Leibinger Plating System	Micro Self Tapping Screws	1.0 - 1.4mm Diameter, 2 - 	$70.00	Only to be funded where used in

12mm Lengths	a service for which a Medicare

Benefit is payable

ST408	Luhr Fixation System 	Luhr Micro Fixation System: emergency 	1.0x2-6mm	$70.00	Only to be funded where used in

screws Vitallium	a service for which a Medicare

Benefit is payable

ST444	Luhr Fixation System 	Luhr Mini/ Pan Fixation System: 	3-20mm. Pack of 6	$70.00	Only to be funded where used in

emergency and standard screws Vitallium	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 594 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Surgiplas Medical

SP088	Screws	Micro, Maxi & Self Drilling	"Size1.2mm self-drilling 	$70.00	Only to be funded where used in

screws, 1.2mm x (2 - 14)mm, 	a service for which a Medicare

Screws diameter < 1.24mm"	Benefit is payable

Compression

Surgiplas Medical

SP031	OsteoMed Plating & Fixation System	Lag Screws - Micro, Mini	1.2mm x (6 - 16)mm; 1.6mm x 	$80.00	Only to be funded where used in

(10-12)mm; 2.0mm x (8 - 	a service for which a Medicare

Benefit is payable.

Fixation Device, Internal, Screw

Australian Surgical Innovations Pty Ltd

AI007	ASI Plates and Screws	Screw	Width 1.0 - 3.0mm. Length 3.0 	$70.00	$77.00

- 25mm

7.1.4.2 Bone Reconstruction and Fixation, General, Screw, CMF and Small fragment,

Aus Systems Pty Ltd

AU043	Aus Systems Titanium Bone Screws 	Screws 1.5mm & 1.8mm diameter	3mm - 11mm length	$43.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

B Braun Australia Pty Ltd

BB316	Aesculap CranioPlate System/Screws 	Cranial fixation system, internal fracture, 	screws neuro, self drilling, 	$43.00

Neuro, self-drilling, 1.5 x 3, 4 & 5mm	non biodegradable.  Consists of screws, 	magazine of 8, 1.5mm x 3, 4 &

5 mm lengths

Biomet Australia Pty Ltd

BH014	W Lorenz Osteosynthesis System	Small Fragment Titanium System. Titanium	Screw, 1.7mm diameter	$43.00	$50.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BH020	W Lorenz Osteosynthesis System	Bone Screw, Cross Drive or Centre 	1.5mm dia x (3.5 - 17)mm	$43.00	$50.00	Only to be funded where used in

Drive. Titanium	a service for which a Medicare

Benefit is payable

BI733	W.Lorenz Osteosynthesis System	Bone Screw, Self Drilling, Cross Drive, 	1.5 mm (dia) x 6.0, 7.0mm 	$43.00	$50.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

BI734	W.Lorenz Osteosynthesis System	Bone Screw, Self Drilling, Cross Drive, 	1.5 mm (dia) x 3.5, 4.0, 5.0mm,	$43.00	$50.00	Only to be funded where used in

Titanium	 [lengths]	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 595 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ201	Bioplate Bone Screw 	Titanium cranial fixation system	1.5mm diam, 3-10 6mm length; 	$43.00	Only to be funded where used in

pack of 5	a service for which a Medicare

Benefit is payable

JJ248	BIOPLATE Bone screw	Titanium alloy self-drilling screw, 5 per 	Dia 1.5mm, length 3 - 5mm	$43.00

pack, packaged non-sterile

JJ252	BIOPLATE Bone screw	Titanium alloy long screw, 1 per pack, 	Dia 1.5mm, length 3, 4, 5, 6, 8, 	$43.00

packaged non-sterile	10mm

JJ534	BIOPLATE Low Profile	Low Profile Titanium Screw	1.5mm diam, 3-5mm length	$43.00

Medical & Optical Instruments Australia Pty Ltd

MO288	Martin Level One Fixation	Screw Titanium	diameter 1.25 to 1.74mm	$43.00	$78.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC880	TiMesh Rigid Fixation Bone Grafting 	Titanium, Screw - Cruciate Head, 12 	Diameter 1.25 - 1.74mm	$43.00	$90.00	Only to be funded where used in

and Plating System	point Flat Head	a service for which a Medicare

Benefit is payable

MC904	Timesh	Internal Drive Screws	Diameter 1.5mm	$43.00	$90.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK301	Leibinger Screw (Various) - Universal 	1.7mm Diameter, 3-12mm 	$43.00	Only to be funded where used in

CMF Screws	Length; 1.9mm Diameter, 3-	a service for which a Medicare

Benefit is payable

SK302	Leibinger Screw (Various) - Universal 	Self Drilling, 1.7mm Diam; 3-	$43.00	Only to be funded where used in

CMF Screws	6mm Length	a service for which a Medicare

Benefit is payable

SK362	Universal Neuro Screws	Titanium screws used for the fixation of 	Diameter 1.5mm, length 4-6mm.	$43.00	Only to be funded where used in

cranial bone flaps	 Emergency Screws: Diameter 	a service for which a Medicare

1.7mm, length 4mm.	Benefit is payable

SK457	Maxillo-Mandibular Fixation Screw	MMF Screw, Self Drilling, Stainless Steel	Dia 1.7mm/2.0mm, Length 	$43.00

2mm to 20mm

ST111	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: 	1.7x3-12mm	$43.00	Only to be funded where used in

square fit, self-tapping Titanium 	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 596 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST148	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, 	1.4x3mm, 1.4x5mm	$43.00	Only to be funded where used in

self-tapping Titanium 	a service for which a Medicare

Benefit is payable

ST149	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, 	1.4x7mm, 1.4x9mm	$43.00	Only to be funded where used in

self-tapping Titanium 	a service for which a Medicare

Benefit is payable

ST150	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, 	1.4x11mm	$43.00	Only to be funded where used in

self-tapping Titanium 	a service for which a Medicare

Benefit is payable

ST236	Leibinger Titanium Screws	Bone Screw, cross-fit, self-tapping	Diameter 1.7mm, Length  3mm 	$43.00	Only to be funded where used in

- 38mm	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP089	Screws	Micro, Maxi & Self Drilling	"Size1.6mm x (4-8)mm self-	$43.00	$49.00	Only to be funded where used in

drilling screws,1.5mm Safety 	a service for which a Medicare

,Screws diameter  1.25-1.75mm"	Benefit is payable

SP097	Bioresorbable Fixation System	Screws	1.6 x (4-8)mm, 4 pack; Screws 	$121.00	Only to be funded where used in

1.25-1.74mm	a service for which a Medicare

Benefit is payable

Locking

Stryker Australia Pty Ltd

SK303	Leibinger Screw (Various) - Universal 	Locking, 1.7mm Diameter, 4-	$48.00	Only to be funded where used in

CMF Screws	6mm Length; Locking 1.9mm 	a service for which a Medicare

Diameter, 5mm Length	Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI994	Lactosorb Resorbable 	Bone Screw Lactosorb, single screw 	1.5mm dia	$121.00	$160.00	Only to be funded where used in

Craniomaxillofacial Fixation System	(multiple screws per pack) PGA/PLA	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO308	Martin Level One Fixation Resorb x & 	SonicPin PDLLA (resorbable)	diameter 1.25-1.74mm	$121.00	$200.00

SonicWeld

Stryker Australia Pty Ltd

ST527	Stryker Leibinger Resorbable Fixation 	Resorbable Screws Trypolymer	1.7x4-5mm Pack of 10	$121.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 597 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST528	Stryker Leibinger Resorbable Fixation 	Resorbable Screws Trypolymer	1.7x3-6mm Pack of 2	$121.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

ST529	Stryker Leibinger Resorbable Fixation 	Resorbable Screws Trypolymer	1.7x3-6mm Pack of 4	$121.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY502	PolyMax Resorbable Fixation System	Polyactide Resorbable Screw/Tack	1.5mm dia	$121.00

7.1.4.3 Bone Reconstruction and Fixation, General, Screw, CMF and Small fragment,

Aus Systems Pty Ltd

AU035	Aus Systems Titanium Bone Screws 	Screws 2mm & 2.3mm diameter	4mm - 15mm length	$40.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

B Braun Australia Pty Ltd

BB314	Aesculap CranioPlate System/ Screws 	Cranial fixation system, internal fracture, 	Screws Neuro, Emergency, self 	$40.00

Neuro Emergency, self tapping, 1.8mm 	non biodegradable.  Consists of screws, 	tapping, magazine of 8, 1.8mm

x 3 & 5mm	x 3 & 5mm lengths

Biomet Australia Pty Ltd

BH016	TMJ System	Screw, Cross Drive, Fossa. Titanium	2.0mm dia x (5 - 13)mm	$40.00	$75.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BH021	W Lorenz Osteosynthesis System	Bone Screw, Cross Drive or Centre 	1.8mm dia x (3.5 - 17)mm	$40.00	$50.00	Only to be funded where used in

Drive. Titanium	a service for which a Medicare

Benefit is payable

BI360	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive, Std 	2.0mm x (4 - 7) mm	$40.00	$50.00	Only to be funded where used in

or Self Drilling; Titanium	a service for which a Medicare

Benefit is payable

BI365	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; 	2.0mm x (9 - 19) mm	$40.00	$50.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI744	Mandibular Fracture System	Screw, High Torque 2.0/2.4 Mandibular 	2.0 x (9-17)mm	$40.00	$50.00	Only to be funded where used in

Fracture, Titanium	a service for which a Medicare

Benefit is payable

BI747	Mandibular Fracture System	Screw, High Torque (HT), Lag,  2.0/2.4 	Dia 2.0 x 19, 21.0, 23, 25, 27, 	$40.00	$60.00	Only to be funded where used in

Mandibular Fracture System, Titanium	29mm  Lengths	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 598 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ215	Bioplate Bio-100 Screw	Titanium cranial fixation system	1.9 mm diam; 15mm length 	$40.00	Only to be funded where used in

pack of 5	a service for which a Medicare

Benefit is payable

JJ244	BIOPLATE Bone screw	Titanium alloy self-drilling screws, 5 per 	Dia 1.9mm, length 3 - 5mm	$40.00

pack, packaged non-sterile

JJ245	BIOPLATE Bone screw	Titanium alloy self-drilling screws, 5 per 	Dia 1.9mm, length 4mm	$40.00

pack, packaged non-sterile

JJ251	BIOPLATE Bone screw	Titanium alloy long screws, 5 per pack, 	Dia 1.9mm, length 3, 4, 5, 6, 8, 	$40.00

packaged non-sterile	10mm

JJ253	BIOPLATE Bone screw	Titanium alloy emergency screws, 5 per 	Dia 1.8, length 6mm; Dia 	$40.00

pack, packaged non-sterile	2.3mm, length 5mm

Medical & Optical Instruments Australia Pty Ltd

MO134	Martin Osteosynthesis System	Screw Fami Anchor Titanium	1.5 - 2.0mm Diameter 8 - 15mm	$40.00	$164.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO315	Martin Miniplate Osteosynthesis System	Screw Titanium	2mm diameter, 4 to 19mm 	$40.00	$65.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO316	Martin Level One Fixation	Screw Titanium	diameter 1.75-2.24mm	$90.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC881	TiMesh Rigid Fixation Bone Grafting 	Titanium, Screw - Cruciate Head, 12 	Diameter 1.75 - 2.24mm	$40.00	$110.00	Only to be funded where used in

and Plating System	point Flat Head	a service for which a Medicare

Benefit is payable

MC905	Timesh	Internal Drive Screws	Diameter 1.8mm	$40.00	$110.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC906	Timesh	Rescue Screws	Diameter 1.8mm	$40.00	$110.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 599 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SK151	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and 	Universal Mandible Screws, 	$40.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	2.0mm Diameter, 16mm-20mm 	a service for which a Medicare

Length; Universal Mandible 	Benefit is payable.

Screws, 2.3mm Diameter,

16mm-20mm Length

SK153	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and 	Universal Mandible Smartlock 	$40.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	Screws, 2.0mm Diameter, 	a service for which a Medicare

4mm-14mm Length; Universal 	Benefit is payable.

Mandible Smartlock Screws,

2.3mm Diameter, 4mm-16mm

SK385	Universal System	Condyle Fastening Screws	One size only	$40.00

ST082	Leibinger Screws 	Leibinger IMF: cross-slot screws 	2.0x8mm, 2.0x14mm, 2.0x20mm	$40.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

ST083	Leibinger Screws 	Leibinger Steinhauser Screw System: 	2.0x4-12mm	$40.00	Only to be funded where used in

cross-slot screws Titanium	a service for which a Medicare

Benefit is payable

ST084	Leibinger Screws 	Leibinger Steinhauser Screw System: 	2.0x13-22mm	$40.00	Only to be funded where used in

cross-slot screws Titanium	a service for which a Medicare

Benefit is payable

ST113	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: 	1.9x5mm, 1.9x7mm	$40.00	Only to be funded where used in

square fit, self-tapping Titanium 	a service for which a Medicare

Benefit is payable

ST114	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: 	2.0x4-19mm	$40.00	Only to be funded where used in

square fit, self-tapping Titanium 	a service for which a Medicare

Benefit is payable

ST240	Leibinger Screws 	Leibinger Mini Wurzburg Emergency 	1.9 x 5mm	$40.00	Only to be funded where used in

Screws Titanium	a service for which a Medicare

Benefit is payable

ST490	Wurzburg Bone Plates	Wurzburg Bone Screws: self-tapping 	2x4-19mm, 2.3x7-9mm. Pack 	$40.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP090	Screws	Micro, Maxi & Self Drilling	"Size2.0mm x (4-8)mm self-	$40.00	$55.00	Only to be funded where used in

drilling screws,1.9mm Safety 	a service for which a Medicare

,Screws diameter  1.75-2.24mm"	Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 600 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SP098	Bioresorbable Fixation System	Screws	2.0 x (4-8)mm, 4 pack; Screws 	$141.00	Only to be funded where used in

1.75-2.24mm	a service for which a Medicare

Benefit is payable

Compression

Stryker Australia Pty Ltd

SK152	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and 	Universal Mandible Lag Screws,	$155.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	 2.0mm Diameter, 24mm-42mm	a service for which a Medicare

Length	Benefit is payable.

Distractor

Synthes Australia Pty Ltd

SY400	External Midface Distractor System	Fixation Screws	40-50mm	$85.00

SY403	External Midface Distractor System	Set Screw	One size only	$85.00

SY405	External Midface Distractor System	Titanium Wire Fixation Screw	15-27mm	$85.00

Locking

Stryker Australia Pty Ltd

SK149	Leibinger Screw  - Universal Mandibular	Items used for reconstruction and 	Universal Mandible Screws, 	$90.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	2.0mm Dia, 4-14mm Length; 	a service for which a Medicare

Universal Mandible Screws, 	Benefit is payable.

2.3mm Dia, 4-14mm Length

SK150	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and 	Universal Mandible Smartlock 	$90.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	Screws, 2.0mm Diameter, 	a service for which a Medicare

16mm-20mm Length; Universal 	Benefit is payable.

Mandible Smartlock Screws,

2.3mm Diameter, 18mm-20mm

Resorbable

Biomet Australia Pty Ltd

BI415	Lactosorb Resorbable 	Bone Screw,  2 Pack, Endobrow, 	2 x 5mm	$141.00	$160.00	Only to be funded where used in

Craniomaxillofacial Fixation System	Lactosorb. PGA/PLA	a service for which a Medicare

Benefit is payable

BI995	Lactosorb Resorbable 	Bone Screw Lactosorb, single screw 	2.0mm dia	$141.00	$160.00	Only to be funded where used in

Craniomaxillofacial Fixation System	(multiple screws per pack) PGA/PLA	a service for which a Medicare

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd

MO307	Resorb x SonicWeld Rx Osteosynthesis 	SonicWeld Rx Bone Pin Screw	1.6 - 2.1mm diameter, 4 - 	$141.00	$200.00

System Bone Screw/Pin

Prostheses List by Category, Groups and Sponsor	Page 601 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC626	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	1.8mm x 3-8mm	$141.00

MC631	Macropore FRP (fast resorbing 	Polylactide and Polyglycolide polymer	2.1mm x 3-8mm	$141.00

polymer) screw

MC901	Macropore	Screws	Diameter 1.75 - 2.24mm	$141.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY503	PolyMax Resorbable Fixation System	Polyactide Resorbable Screw/Tack	2.0/2.5mm dia	$141.00

7.1.4.4 Bone Reconstruction and Fixation, General, Screw, CMF and Small fragment,

Biomet Australia Pty Ltd

BH015	W Lorenz Osteosynthesis System	Small Fragment Titanium System. Titanium	Screw 2.3mm diameter, 2.5mm 	$45.00	$50.00	Only to be funded where used in

diameter	a service for which a Medicare

Benefit is payable

BH017	TMJ System	Screw, Cross Drive, Fossa. Titanium	2.3mm Dia x (5 - 13)mm	$45.00	$75.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI723	Mandibular Fracture System	Screw, High Torque 2.0/2.4 Mandibular 	2.7 x (6-20)mm	$45.00	$55.00	Only to be funded where used in

Fracture, Titanium	a service for which a Medicare

Benefit is payable

BI726	Mandibular Fracture System	Screw, High Torque (HT), Emergency, 	Dia 2.3mm x 4.0, 5.0, 7.0, 9.0, 	$45.00	$50.00	Only to be funded where used in

2.0/2.4 Mandibular Fracture System, 	11.0, 13.0, 15.0mm  Lengths	a service for which a Medicare

Benefit is payable

BI735	W.Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; 	2.3mm x (5 - 9) mm	$45.00	$55.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI748	Mandibular Fracture System	Screw, High Torque (HT), 2.0/2.4 	Dia 2.4 x 6.0mm, 8.0, 10.0, 	$45.00	$55.00	Only to be funded where used in

Mandibular Fracture System, Titanium	12.0, 14.0, 16.0, 18.0mm 	a service for which a Medicare

Benefit is payable

BI751	Mandibular Fracture System	Screw, High Torque (HT), Lag, 2.0/2.4 	2.4mm Dia, 24, 28, 32, 36, 	$45.00	$55.00	Only to be funded where used in

Mandibular Fracture, Titanium	40mm Lengths	a service for which a Medicare

Benefit is payable

Johnson & Johnson Medical Pty Ltd

JJ254	BIOPLATE Bone screw	Titanium alloy emergency screw, 1 per 	Dia 1.8, length 6mm; Dia 	$45.00

pack, packaged non-sterile	2.3mm, length 5mm

Prostheses List by Category, Groups and Sponsor	Page 602 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO311	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter,  5 to 30mm 	$45.00	$75.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MO312	Martin Level One Fixation	Screw Titanium	2.25mm  - 2.74 mm diameter	$75.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC882	TiMesh Rigid Fixation Bone Grafting 	Titanium, Screw - Crucuate Head, 12 	Diameter 2.25 - 2.74mm	$45.00	$130.00	Only to be funded where used in

and Plating System	point Flat Head	a service for which a Medicare

Benefit is payable

MC902	Macropore	Screws	Diameter 2.25 - 2.74mm	$141.00	$160.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC907	Timesh	Rescue Screws	Diameter 2.4mm	$45.00	$130.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK148	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and 	Universal Mandible Screws, 	$45.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	Emergency, 2.7mm Diameter, 	a service for which a Medicare

8-20mm Length	Benefit is payable.

ST098	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x6-22mm	$45.00	Only to be funded where used in

screws Titanium	a service for which a Medicare

Benefit is payable

ST115	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: 	2.3x6-9mm	$45.00	Only to be funded where used in

square fit, self-tapping Titanium 	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP091	Screws	Micro, Maxi & Self Drilling	2.4mm x (4-22)mm self-drilling 	$45.00	Only to be funded where used in

screws, 2.7mm x (8-20)mm; 	a service for which a Medicare

2.7mm Safety Screws, diameter	Benefit is payable

2.25-2.74mm

SP094	OsteoMed Plating & Fixation System	Screws	2.4mm x (6-22)mm Locking 	$75.00	$140.00	Only to be funded where used in

Screws, Screws 2.25-2.74mm	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 603 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Locking

Biomet Australia Pty Ltd

BI457	Lorenz 2.4mm Locking Reconstruction 	Screw, Locking Reconstruction Modular.	2.4 x (6-18)mm	$75.00	$95.00	Only to be funded where used in

System	 Titanium	a service for which a Medicare

Benefit is payable

BI786	Lorenz 2.4mm Locking Reconstruction 	Screw, bending inserts, titanium	One size only	$75.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable.

Stryker Australia Pty Ltd

SK147	Leibinger Screw  - Universal Mandibular	Items used for reconstruction and 	Universal Mandible Smartlock 	$75.00	Only to be funded where used in

Screws	fixation of mandibular fractures and 	Emergency Screws, 2.7mm 	a service for which a Medicare

Diameter, 8mm - 20mm length	Benefit is payable.

Resorbable

Biomet Australia Pty Ltd

BI996	Lactosorb Resorbable 	Bone Screw Lactosorb,single screw 	2.5mm dia	$141.00	$160.00	Only to be funded where used in

Craniomaxillofacial Fixation System	(multiple screws per pack) PGA/PLA	a service for which a Medicare

Benefit is payable

7.1.4.5 Bone Reconstruction and Fixation, General, Screw, CMF and Small fragment,

Biomet Australia Pty Ltd

BI742	TMJ System	Screw, Cross Drive Mandibular 	(2.7 - 3.2mm) x (8 - 12mm)	$54.00	Only to be funded where used in

Component, Titanium	a service for which a Medicare

Benefit is payable

Medtronic Australasia Pty Ltd

MC571	Timesh	12 Point Screws	3 - 20mm	$54.00	$150.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC903	Macropore	Screws	Diameter 2.75 - 3.24mm	$155.00	$170.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Resorbable

Biomet Australia Pty Ltd

BI997	Lactosorb Resorbable 	Bone Screw Lactosorb, single screw 	2.8mm dia	$155.00	$160.00	Only to be funded where used in

Craniomaxillofacial Fixation System	(multiple screws per pack) PGA/PLA	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 604 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.5 Reconstruction material sheet, non-mesh

Medical Vision Australia Pty Ltd

MF055	Medpor Porous Polyethylene Biomaterial	Porous Polyethylene Biomaterial Custom 	Custom designed and made 	$8,500.00

Custom Made Implant	Made Product for ear, nose, face and 	from CT scan image

Orbit reconstruction

7.1.5.1 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-

Medical Device Alliance Pty Ltd

MP023	Silicone Sheets	Sheet standard-small with reinforcement	100mm	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP024	Silicone Sheets	Sheet standard - large with reinforcement	200mm	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP025	Silicone Sheets	Sheet standard - small without 	100mm	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP026	Silicone Sheets	Sheet standard - large without 	200mm	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP027	Silicone Sheets	Sheet extra strength small	100mm	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP028	Silicone Sheets	Sheet extra strength large	200mm	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP029	Silicone Sheets	Block standard super soft	Soft, Medium, Hard	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP030	Silicone Sheets	Block coloured, single consistency, 	One size only	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 605 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MP031	Silicone Sheets	Block coloured, double consistency, 	One size only	$220.00	Only to be funded where used in

white/pink	a service for which a Medicare

Benefit is payable.

MP032	Suspension Sheet for Mammoplasty	Silicone sheet - textured	0.3mm, 29cm x 17cm;	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Medical Vision Australia Pty Ltd

MF040	Nasal Sheet (Strut).	Nasal Sheet (Strut). Model 9536	Nasal Sheet (Strut): 40 x 9 x 	$220.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Polymer

Anatomics Pty Ltd

AT051	E-POR Biomaterial/ Sheet - Porous 	Sheet - Porous Polyethylene	30mm - 50mm x 0.4mm - 3mm	$443.00

Polyethylene

Medical Vision Australia Pty Ltd

MF028	Micro Thin Sheet	Model/s 8438, 83020, 83022, 83029	8438: 30 x 50 x 0.4mm,  83020:	$443.00	Only to be funded where used in

38 x 50 x 0.25mm, 83022: 38 x	a service for which a Medicare

50 x 0.35mm, 83029: 38 x 50 x	Benefit is payable

MF029	Ultra Thin Sheet	Porus Polyethylene. Models 7210	38 x 50 x 0.85mm	$443.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MF030	Sheet	Porus Polyethylene. Models 6330, 6331, 	Sheets 6330: 38 x 50 x 1.5mm, 	$443.00	Only to be funded where used in

8662, 9562. Micro single channel sheet, 	6331: 50 x 76 x 1.5mm, 8662: 	a service for which a Medicare

model 9528. Barrier microplate single 	76 x 127 x 1.5mm, 9862: 38 x 	Benefit is payable

channel sheet, model 9527 Medpor Titan 	50 x 3mm. Microplate single

Implant Sheets Plain, Barrier & Double 	channel Sheet 9528: 38 x 50 x

Barrier, and Medpor Titan Orbital floor 	0.85mm. Barrier microplate

and wall sheets 8102	single channel Sheet 9527: 38 x

50 x 0.85mm. Titan implant

sheets 81020: 76 x 50 x

MF031	Barrier Sheet: Barrier Sheet - Orbital 	Porus Polyethylene. Barrier  sheet - 	 Barrier  sheet - Rectangle: 50 x 	$443.00	Only to be funded where used in

Rectangle, models 8312 and 9312. Orbital	76  x 1mm, 50 x 76 x 1.6mm: 	a service for which a Medicare

floor implants, models 8305 and 9305	50 x 76 x 1mm, 50 x 76 x 	Benefit is payable

1.6mm.  Orbital Floor: 38 x 50 x

1mm, 38 x 50 x 1.6mm

MF042	Ultra Thin Sheet	Porus Polyethylene. Model 7212	50 x 76 x 0.85mm	$443.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 606 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MF045	Sheet - Multi Channel, Barrier Channel.	Porus Polyethylene. Miniplate channel 	Miniplate channel: 40 x 52 x 	$443.00	Only to be funded where used in

sheet, model 9529. Microplate channel 	2.3mm. Mircoplate channel: 40 	a service for which a Medicare

sheet, model 9530. Barrier Miniplate and 	x 52 x 2.3mm. Barier Miniplate 	Benefit is payable

Microplate Channel Sheets, Models 9531 	and Microplate Channel Sheets:

40 x 52 x 2.3mm, 40 x 52 x

MF046	Sheet - Barrier Single Channel Sheet.	Porus Polyethylene. Barrier Single 	Barrier Single Channel: 38 x 50 x	$443.00	Only to be funded where used in

Channel Sheet, Model 9527.	 0.85mm	a service for which a Medicare

Benefit is payable

Resorbable

Biomet 3i Australia Pty Ltd

NW005	OsseoGuard Resorbable Collagen 	Dental Resorbable Collagen Membrane	15mm x 20mm, 20mm x 30mm,	$345.00

Membrane	 30mm x 40mm

Henry Schein/Halas Pty Ltd

HD010	Bio-Gide	Bio-Gide & Bio-Gide Perio are collagen 	30mm x 40mm	$345.00

membranes containing porcine collagen in

a bilayer structure.  They are used for

guided bone regeneration and peridontal

tissue regeneration in oral and

HD011	Bio-Gide	Bio-Gide & Bio-Gide Perio are collagen 	25mm x 25mm	$345.00

membranes containing porcine collagen in

a bilayer structure.  They are used for

guided bone regeneration and peridontal

tissue regeneration in oral and

HD012	Bio-Gide	Bio-Gide & Bio-Gide Perio are collagen 	13 x 25mm	$345.00

membranes containing porcine collagen in

a bilayer structure.  They are used for

guided bone regeneration and peridontal

tissue regeneration in oral and

HD013	Bio-Gide Perio	Bio-Gide & Bio-Gide Perio are collagen 	Bio-Gide perio - 16mm x 22mm	$345.00

membranes containing porcine collagen in

a bilayer structure.  They are used for

guided bone regeneration and peridontal

tissue regeneration in oral and

Medical & Optical Instruments Australia Pty Ltd

MO302	Martin Level One Fixation Resorb x & 	Reconstruction sheet not mesh PDLLA 	25x25mm-0.1mm	$345.00	$550.00

SonicWeld	(resorbable)

Prostheses List by Category, Groups and Sponsor	Page 607 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.1.5.2 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-

Polymer

Medical Vision Australia Pty Ltd

MF043	Ultra Thin Sheet	Porus Polyethylene. Model 7214	76 x 127 x 0.85mm	$950.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.5.3 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-

Polymer

Medical Vision Australia Pty Ltd

MF044	Ultra Thin Sheet	Porus Polyethylene. Model 7216	127 x 178 x 0.85mm	$1,550.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.5.4 Bone Reconstruction and Fixation, General, Reconstruction material sheet, non-

Block

Medical Vision Australia Pty Ltd

MF032	Block	Models 6332 - 6340 & 6359	6332: 13 x 38 x 3mm, 6333: 13 	$825.00	Only to be funded where used in

x 38 x 6mm, 6334: 13 x 38 x 	a service for which a Medicare

9.5mm, 6335: 25 x  50 x 3 mm, 	Benefit is payable

6336: 25 x 50 x 6mm, 6337: 25

x 50 x 9.5mm, 6338: 38 x 63 x

3mm, 6339: 38 x 63 x 6mm,

6340: 38 x 63 x 9.5mm 6359:

MF033	Flexblock TF2	Flexblock TF2 implant, left and right, 	Flexblock TF2: small left & right	$950.00	Only to be funded where used in

models 9857 - 9860, 9861 - 9862	 61 x 78 x 18mm, Medium left 	a service for which a Medicare

& right 74 x 93 x 20mm, large 	Benefit is payable

left & right 82 x 105 x 20mm

MF047	Flexblock TF2	Porus Polyethylene. Flexblock TF2 	Flexblock TF2: large 82 x 105 x 	$825.00	Only to be funded where used in

implant, left and right, models 9861 - 9862	20mm.	a service for which a Medicare

Benefit is payable

MF048	Flexblock TF	Porus Polyethylene. Flexblock TF 	Flexblock TF: small 70 x 70 x 	$850.00	Only to be funded where used in

implant, models 9521 - 9522.	10mm, medium 88 x 86 x 	a service for which a Medicare

Benefit is payable

MF049	Flexblock TF	Porus Polyethylene. Flexblock TF 	Flexblock TF: large 98 x 95 x 	$1,000.00	Only to be funded where used in

implant, model 9523. 	18mm.	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 608 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MF050	Flexblock, Cranial Grid	Porus Polyethylene.Flexblock cranial grid 	Flexblock cranial grid: 97 x 107 	$1,600.00	Only to be funded where used in

implant, model 9524.	x 6mm.	a service for which a Medicare

Benefit is payable

MF051	Flexblock	Porus Polyethylene. Flexblock, model 	Flexblock: 56 x 91 x 4mm.	$860.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.1.5 Screw, craniomaxillofacial and small fragment

7.1.5.2 Screw, craniomaxillofacial and small fragment, diameter > 4mm

Resorbable

Arthrocare Australasia Pty Ltd

AF022	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Screws 4.5 x 20-55mm, 3.1 x 	$310.00

copolymer

7.1.5.4 Screw, craniomaxillofacial and small fragment, diameter 2.75 - 3.24mm (3.0mm)

Resorbable

Arthrocare Australasia Pty Ltd

AF020	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Screws 3.1 x 6 - 30mm and 2.5 	$155.00

copolymer	x 30mm

7.1.5.5 Screw, craniomaxillofacial and small fragment, diameter 2.25 - 2.74mm (2.5mm)

Locking

Medartis

EO006	Aptus Hand	Aptus Hand-locking screws	2.0mm-2.5mm diameter, 6mm-	$130.00

34mm length

Resorbable

Arthrocare Australasia Pty Ltd

AF019	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Screws 2.8 x 6-23mm, 3.1 x 6-	$141.00

copolymer

AF024	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Screws 1.5 - 2.5mm dia x 5-	$121.00

copolymer	8mm long

7.1.5.6 Screw, craniomaxillofacial and small fragment, diameter 1.75 - 2.24mm (2.0mm)

Medartis

EO007	 Aptus Hand	Titanium cortex screws	1.2-2,5mm diameter, 4mm-34mm	$67.00

Prostheses List by Category, Groups and Sponsor	Page 609 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Resorbable

Arthrocare Australasia Pty Ltd

AF023	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Screws 2 x 9-19mm, 2.5 x 10-	$141.00

copolymer	23mm and 2.8 x 10 - 23mm

7.2.1 Chin

Medical Vision Australia Pty Ltd

MF023	Chins	Extended chin implants: Round RZ 	Extended chin Implants design 	$286.00	$400.00	Only to be funded where used in

(Models 8313 - 8315) and extended 	RZ round small: 45 x 47 x 3mm,	a service for which a Medicare

square RZ (Models 8316, 8318). Two 	 medium 45 x 47 x 5mm, large 	Benefit is payable

piece chin design (Models 8320 - 8322). 	45 x 47 x 7mm; Extneded Chin

Single piece chin design, contoured 	Implants square small 45 x 47

(Models 7520 - 7522). Additional chin 	x3mm; Medium 45 x 47 x 5mm;

shapes (Models 6341 - 6344) Contoured t	 Large 45 x 47 x 7mm; Two

piece design small 46 x 33 x

5mm; Medium 56 x 36 x 7mm

Surgiplas Medical

SP004	Facial Prosthesis	Silicone elastomer	Small / Medium / Large / X-Large	$286.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.2 Craniomaxillofacial, Cranium

Coated

Anatomics Pty Ltd

AT064	E-POR Biomaterial/ Cranial Temporal, 	Cranial Temporal, Porous Polyethylene 	Left, Right, 130mm x 130mm	$2,600.00

Porous Polyethylene Titanium Mesh 	Titanium Mesh Composite

Composite

Complex - Custom

Advanced Surgical Design & Manufacture Ltd

AE053	ASDM Bone Plates	Custom Skull Mesh Plate, Titanium	One size only	$6,700.00

Australian Surgical Innovations Pty Ltd

AI006	ASI Plates and Screws	Custom Mesh	.	$6,700.00	$7,370.00

Prostheses List by Category, Groups and Sponsor	Page 610 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medtronic Australasia Pty Ltd

MC526	TiMesh	Surgical Mesh:  Anterior, Posterior, 	One size only	$6,700.00	$9,930.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC527	TiMesh	Lateral Mesh:  Left, Right	One size only	$6,700.00	$9,930.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC528	TiMesh	Cranial Custom Mesh	121mm x 72mm - 152  x 	$6,700.00	$9,930.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MC625	Modified Dual TiMesh	TiMesh Surgical Mesh Modified, includes	121mm x 77mm. 152mm x 	$10,500.00	$12,250.00	Only to be funded where used in

two cranial plates. Composition: 	a service for which a Medicare

Benefit is payable

Complex - Custom, Polymer

Anatomics Pty Ltd

AT063	E-POR Biomaterial/ Patient Specific 	Patient Specific Cranial Implant, Porous 	Cranial Shape - Customised	$9,930.00

Cranial Implant, Porous Polyethylene	Polyethylene

Polymer

Anatomics Pty Ltd

AT059	E-POR Biomaterial/ Mastoid, Pterional, 	Mastoid, Pterional, Contourable Porous 	Left, Right, 43mm - 57mm x 	$1,300.00

Contourable Porous Polyethylene	Polyethylene	0.6mm, 1.5mm

AT061	E-POR Biomaterial/ Contour Porous 	Contour Porous Polyethylene	One Size 56mm x 91mm	$1,300.00

Polyethylene

Resorbable

Medtronic Australasia Pty Ltd

MC548	Macropore	Cranial Recon	29 - 165mm	$481.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.2 Cranium

Surgiplas Medical

SP113	OsteoMed Plating & Fixation System	Plates	90 x 90mm, 95 x 165mm, & 	$2,600.00	$2,975.00	Only to be funded where used in

Large Pre-formed Osteoform 	a service for which a Medicare

Mesh, Cranium.	Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 611 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.2.3 Craniomaxillofacial, Ear, other than hearing appliance

7.2.3.1 Craniomaxillofacial, Ear, other than hearing appliance, Ear Body

Cochlear Limited

CO036	Standard Abutments	Abutment Complete - Titanium	3.0mm - 90780, 4.0mm - 	$412.00	Only to be funded where used in

90778, 5.5mm - 90776, 7.0mm 	a service for which a Medicare

Benefit is payable

Offset/Angled

Cochlear Limited

CO037	Face to Face	Console Abutment Unigrip - Titanium	30, 60, 90, 110 Degrees	$895.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.3.2 Craniomaxillofacial, Ear, other than hearing appliance, Ear Base

Medical Vision Australia Pty Ltd

MF052	Ear Reconstruction	Porus Polyethylene. Ear base left and 	Ear base: 29 x 55 x 13mm, 32 x 	$600.00	Only to be funded where used in

right, models 7542 and 7525  - 7527. Ear 	65 x 16mm. Ear base extended: 	a service for which a Medicare

base extended left and right, models 8330	30 x 60mm.	Benefit is payable

and 8331.

7.2.3.3 Craniomaxillofacial, Ear, other than hearing appliance, Helical Rim

Medical Vision Australia Pty Ltd

MF035	Sphere	Porus Polyethylene. Helical rim, models 	Helical rim: 37 x 62mm	$420.00	Only to be funded where used in

8328 and 8329	a service for which a Medicare

Benefit is payable

7.2.4 Craniomaxillofacial, Malar Implant

Medical Vision Australia Pty Ltd

MF024	Genioplasty Wedge	Porus Polyethylene. Genioplasty wedges, 	Small 60 x 25 x 5mm, medium 	$420.00	Only to be funded where used in

models 8340 - 8343	60 x 25 x 7.5mm, large 60 x 25 	a service for which a Medicare

x 10mm	Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 612 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MF025	Prejowl Shape	Porus Polyethylene. Model 8319	45 x 41 x 4mm	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

MF026	Malar Shape	Porus Polyethylene. Design RZ malar 	Design RZ malar shapes: super 	$420.00	Only to be funded where used in

shapes, super petite and petite, left and 	petite left and right 50 x 19 x 	a service for which a Medicare

right (Models 9501 - 9504). Design M 	3mm, Design RZ malar shapes 	Benefit is payable

malar shapes, left and right (Models 9507	petite left and right 50 x 19 x

- 9512). Additional malar shapes, 	5mm. Design malar shapes:

extended contoured left and right (Models	small left and right  64 x 19 x

3mm, left and right medium 64

x 19 x 4.5mm, Left and right

Complex, Polymer

Anatomics Pty Ltd

AT053	E-POR Biomaterial/ Midface Contour 	Midface Contour Porous Polyethylene	One size	$1,150.00

Porous Polyethylene

AT062	E-POR Biomaterial/ Temporal Fossa 	Temporal Fossa Implant Porous 	61mm - 105mm x 18mm - 20mm	$1,150.00

Implant Porous Polyethylene

7.2.5 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular

7.2.5.1 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ),

Medtronic Australasia Pty Ltd

MC513	TiMesh	Full Mandible	One size only	$1,520.00	$1,920.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP092	Osteo Plating & Fixation System	Plates - Reconstruction	5 x 20 x 5 Hole Full Mandible 	$1,520.00	Only to be funded where used in

Plate; 5 x 16 x 5 Hole Full 	a service for which a Medicare

Mandible Plate; Mandible, Full	Benefit is payable.

7.2.5.2 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ),

Medtronic Australasia Pty Ltd

MC515	TiMesh	Hemimandible, Left/Right	One size only	$645.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 613 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Surgiplas Medical

SP024	OsteoMed Plating & Fixation System	Plates - Reconstruction	5 x 16 Hole plate Right & Left	$645.00	$840.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

7.2.5.3 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ),

Compression

Surgiplas Medical

SP069	Plates	Micro, Mini, Maxi	Angled EDC Plate, Angled Long 	$375.00	Only to be funded where used in

EDC Plate, 40mm 6 Hole 	a service for which a Medicare

Fracture Plate, 6 Hole Curved 	Benefit is payable

EDC Plate, 33mm & 38mm 4

Hole EDC Plate, 48mm 6 Hole

EDC Plate, Mandible, Mandible

Polymer

Medical Vision Australia Pty Ltd

MF037	Mandibular angle	Porus Polyethylene. RZ mandibular angles	RZ mandibular angles: 65 x 35 x	$1,485.00	Only to be funded where used in

left and right (Models 9955 - 9960); 	 3 x 6.5 x 3 x 3mm, 65 x 35 x 7	a service for which a Medicare

Porus Polyethylene. Contoured 	 x 6.5 x 3 x 3mm, 65 x 35 x 11 	Benefit is payable

mandibular angles left and right (Models 	x 6.5 x 3 x 3mm. Contoured

mandibular angles left and

right:59 x 29 x 7 x 11mm.

7.2.5.4 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ),

Medtronic Australasia Pty Ltd

MC516	TiMesh	Mandibular Symphysis	One size only	$1,294.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.5.5 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), TMJ,

Biomet Australia Pty Ltd

BI559	TMJ System	Mandibular Component, Left or Right, 	(40 - 60mm), 5-13 hole	$6,875.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

BI792	Lorenz 2.4mm Locking Reconstruction 	Condyle left or right, chrome cobalt 	One size only	$1,545.00	$1,600.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 614 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medical & Optical Instruments Australia Pty Ltd

MO024	Martin Mandibular Fracture System	Condylar Implant - left or right	5cm	$1,545.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK218	Leibinger Titanium Implant System - 	Items used for reconstruction following 	Universal Mandible Condylar 	$1,545.00	Only to be funded where used in

Universal Mandible Condylar Device	trauma or tumor resection of the 	Device Left and Right	a service for which a Medicare

mandible. Included are 2x cross pin 	Benefit is payable.

7.2.5.6 Craniomaxillofacial, Mandible, Maxilla and Temperomandibular Joint (TMJ), TMJ

Biomet Australia Pty Ltd

BI569	TMJ System	Fossa Component, Left or Right; 	Small, Medium Large	$5,850.00	Only to be funded where used in

Titanium, UHMWPE	a service for which a Medicare

Benefit is payable

7.2.5.8 Maxilla

Medtronic Australasia Pty Ltd

MC512	TiMesh	Maxillary Prosthesis	One size only	$2,124.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.6 Craniomaxillofacial, Nose and Zygoma

7.2.6.1 Craniomaxillofacial, Nose and Zygoma, Nasal Dorsum

Medical Device Alliance Pty Ltd

MP009	Facial Implant Nasal	Nasal dorsum	Small, large	$279.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP013	Facial Implant Nasal	Zygomatic	Right, left	$279.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Medical Vision Australia Pty Ltd

MF038	Nasal Shape. Petite Nasal Dorsum.	Porus Polyethylene. Petite Nasal Dorsum 	Petite Nasal Dorsum: 4 x 4 x 	$279.00	Only to be funded where used in

( Models 84000 - 84004).	45mm, 4 x 4 x 55mm, 5 x 5 x 	a service for which a Medicare

45mm, 5 x 5 x 55mm, 6 x 9 x 	Benefit is payable

55mm.

Prostheses List by Category, Groups and Sponsor	Page 615 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mentor Medical Systems

MN021	Implantech Facial Implants - Nasal 	Implantech Shirakabe Nasal Implant; 	Extra Small, Small, Medium, 	$279.00	Only to be funded where used in

Prostheses	Implantech Flowers Dorsal Nasal 	Large, Extra Large	a service for which a Medicare

Implant; Implantech Dorsal Columella 	Benefit is payable.

Implant; Implantech Brink Peri-Pyriform

Implant; Implantech Rizzo Dorsal Nasal

Implant; Composition: Implant Grade

Silicone Elastomer

7.2.6.2 Craniomaxillofacial, Nose and Zygoma, Nasal Arch

Medical Vision Australia Pty Ltd

MF027	Nasal Shape or Rhinoplasty Shape	Porus Polyethylene. Nasal Arch shapes, 	Nasal arch shapes: small 70 x 13	$350.00	Only to be funded where used in

nasal arch and nasal sheet (Models 9533 -	 x 2mm, medium 70 x 15 x 	a service for which a Medicare

9536). Nasal dorsum shapes, design A 	2mm, large 70 x 15 x 2mm, 	Benefit is payable

and design B (Models 7516 - 7518). 	sheet 40 x 9 x 1.1mm. Nasal

Nasal valve support, lateral nasal valve 	dorsum shapes: design A small

53 x 5mm, design A large 66 x

8mm, design B 67 x 6.5mm.

Nasal valve support: lateral nasal

7.2.6.3 Craniomaxillofacial, Nose and Zygoma, Nasal Shell Shape

Medical Vision Australia Pty Ltd

MF041	Nasal Shell Shapes.	Nasal Shell Shapes, Regular and Large 	Regular: 38 x 21 x 17mm, Insert	$490.00	Only to be funded where used in

with Inserts Small and Large (included). 	 Small 30 x 4 x 9mm, Insert 	a service for which a Medicare

Models 9553 - 9554. Thin Nasal Shell 	Large 38 x 2.5 x 9mm. Large: 	Benefit is payable

40 x 20 x 18mm, Insert Small

32 x 4 x 9mm, Insert Large 41 x

3 x 9mm. Thin Nasal Dorsal

Shell 42.7mm x 16.4mm x

7.2.6.4 Craniomaxillofacial, Nose and Zygoma, Nasal Valve Support

Medical Device Alliance Pty Ltd

MP003	Facial Implant Nasal "L" Shaped	White, pink	1.9 x 4.1 x 2.8cm, 1.8 x 4 x 	$227.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 616 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Medical Vision Australia Pty Ltd

MF039	Nasal Valve Support.	Lateral Nasal Valve, Model 7545. External	Lateral Nasal Valve:13 x 3.5 x 	$350.00	Only to be funded where used in

Nasal Valve Batten, Model 7546. External	0.85mm, External Nasal Valve 	a service for which a Medicare

Nasal Valve Batten - Thin, Model 7167	Batten: 25 x 11 x 0.85mm, 	Benefit is payable

External Nasal Valve Batten -

Thin: 24 x 11.5 x 0.6mm.

7.2.6.5 Craniomaxillofacial, Nose and Zygoma, Nasal-orbital Ethmoid Implant

Complex

Medtronic Australasia Pty Ltd

MC521	TiMesh	Naso-Orbital-Ethmoid 	1mm - 2.2mm;  Complex 1, 	$541.00	Only to be funded where used in

Complex 2, Complex 3	a service for which a Medicare

Benefit is payable

7.2.7 Craniomaxillofacial, Orbit

7.2.7.1 Craniomaxillofacial, Orbit, Complete Orbital Shape

Medical Vision Australia Pty Ltd

MF022	Complete Orbital Shape	Porus Polyethylene. Complete and 2 / 3 	Inferior: 83 x 78mm	$1,940.00	Only to be funded where used in

orbit shapes. Inferior 2 / 3 left and right. 	a service for which a Medicare

Models 9567, 9568	Benefit is payable

MF036	Complete Orbital Shape	Complete left and right.  Models 9569, 	Complete 61 x 76mm	$1,940.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.7.2 Craniomaxillofacial, Orbit, Orbital Floor

Surgiplas Medical

SP079	Plates	Micro, Mini	Orbital Plate, Orbital Plate Large	$890.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Coated

Anatomics Pty Ltd

AT055	E-POR Biomaterial/ Orbital Wall and 	Orbital Wall and Floor Porous 	41 x 42 x 0.6-1.0mm	$985.00

Floor Porous Polyethylene Titanium 	Polyethylene Titanium Mesh Composite

Mesh Composite (large)

Prostheses List by Category, Groups and Sponsor	Page 617 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.2.7.4 Craniomaxillofacial, Orbit, Ophthalmic Rim

Medical Vision Australia Pty Ltd

MF021	Orbital Rim	Orbital rims, left and right extended. 	Left & right extended models 47	$395.00	Only to be funded where used in

Models 9539, 9540 Orbital Rim Onlay 	 x 40mm Oribtal Rim Onlay 	a service for which a Medicare

Implants 81001, 81002	Implants left & right 40 x 40mm	Benefit is payable

7.2.7.6 Craniomaxillofacial, Orbit, Wedge for Orbit

Medical Vision Australia Pty Ltd

MF020	Enophthalmos Wedge	Regular left and right. Large left and 	Regular: 22 x 31 x 7mm. Large: 	$460.00	Only to be funded where used in

right. (Models 9541 - 9544)	28 x 40 x 7.5mm	a service for which a Medicare

Benefit is payable

7.2.8 Craniomaxillofacial, External Prostheses, Bone Attachments

7.2.8.1 CMF, Bone attachment, endosseous implant

Fixture

Cochlear Limited

CO042	Vistafix™ Fixture ST	Titanium self-tapping fixtures for the 	3mm and 4mm	$635.00

retention of midface and orbital

7.2.8.3 CMF, Bone Attachment, Abutment, Temporary or Healing

Cochlear Limited

CO038	Face to Face	Healing Abutment Unigrip - Titanium	7mm	$285.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.2.8.4 CMF, Bone attachment, Abutment fixtures

Cover Screw

Cochlear Limited

CO035	Face to Face	Cover Screw with Internal Hexagon	One Size Only	$142.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 618 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.3.1 Dental Implants, Abutment, permanent

AstraZeneca Pty Ltd

AZ005	Astra Tech Abutments	PreFab Titanium Abutment, 	Diam 3.5 - 5.0mm	$175.00	Only to be funded where used in

BiAbutment/Abutment Kit	a service for which a Medicare

Benefit is payable

AZ006	Astra Tech Abutments	UniAbutment, Angled Abutment, Ball 	Diam 3.5 - 7.0mm	$175.00	Only to be funded where used in

Abutment	a service for which a Medicare

Benefit is payable

AZ007	Astra Tech Abutments	Ceramic Abutment	Diam 4.5 - 5.0mm	$175.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

AZ008	AstraTech Cast to Abutment	.	$160.00

AZ009	AstraTech Profile BI Abutment	.	$175.00

Biomet 3i Australia Pty Ltd

NW001	3i Abutment Complete	Titanium	3.25 - 6mm diameter	$175.00	Endosseous Implants -  (Not to

be included for dental treatment

except as a secondary procedure

when partial or complete

resection of a mandible or maxilla

has been undertaken for removal

of an extensive tumour or cyst.)

Neoss Australia Pty Ltd

NJ003	Neoss Titanium Abutment	Neoss Abutment Titanium	Universal	$175.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

NJ004	Neoss Gold Abutment	Neoss Abutment Gold 	Universal	$175.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 619 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Nobel Biocare Australia Pty Ltd

NR001	Nobel Biocare Abutments	Abutment, complete	3.5, 3.6, 4.0, 4.5, 5.0, 5.3, 6.0, 	$175.00	Endosseous Implants -  (Not to

7.0mm Diameter	be included for dental treatment

except as a secondary procedure

when partial or complete

resection of a mandible or maxilla

has been undertaken for removal

of an extensive tumour or cyst.)

7.3.2 Dental Implants, Abutment, temporary or healing

AstraZeneca Pty Ltd

AZ001	Astra Tech Cover Screws	Cover Screw	Diameter 3.0mm, 3.5mm, 	$52.00	Only to be funded where used in

4.0mm, 4.5/5.0mm Short, 4.5/ 	a service for which a Medicare

Benefit is payable

AZ003	Astra Tech Healing Abutments	Healing Abutments, Healing Abutments 	Healing Abutments 3.0, Zebra 	$70.00	Only to be funded where used in

1.5, 3.0, 4.5, 6.0mm; Healing 	a service for which a Medicare

Abutment 5.5mm Ultra, Short, 	Benefit is payable

Long; 7.0mm Short, Long; ST

Short, Long; ST 5.5mm Short,

Long; ST 7.0mm Short, Long;

Temporary Abutment 3.5, 4.0

AZ004	Astra Tech Abutments	Temporary Abutment	Diam 3.0 - 5.0mm	$96.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Nobel Biocare Australia Pty Ltd

NR002	Nobel Biocare Cover Screws	Cover screw	NP, RP, WP, 6.0mm	$52.00	Endosseous Implants -  (Not to

be included for dental treatment

except as a secondary procedure

when partial or complete

resection of a mandible or maxilla

has been undertaken for removal

of an extensive tumour or cyst.)

NR004	Healing Abutment Complete	Abutment Coping	One Size Only	$70.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Straumann Pty Ltd

SB002	Straumann Pty Ltd	Straumann Healing Cap NNI/RN/WNI	Height 1.5 - 4.5 mm	$52.00

Prostheses List by Category, Groups and Sponsor	Page 620 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.3.3 Dental Implants, other endosseous implant

AstraZeneca Pty Ltd

AZ002	Astra Tech MicroThread Fixtures and 	Titanium fixture with microthreaded 	Diameter 3.0, 3.5 - 5.0mm, 	$467.00	Only to be funded where used in

MicroThread Osseospeed Fixtures	cervical neck	Length 8-19mm	a service for which a Medicare

Benefit is payable

Biomet 3i Australia Pty Ltd

NW002	3i Self Tapping Threaded Implants and 	Osseotite/Ice	3.25 - 6mm diameter	$467.00	$545.00	Endosseous Implants -  (Not to

3i Coverscrew	be included for dental treatment

except as a secondary procedure

when partial or complete

resection of a mandible or maxilla

has been undertaken for removal

of an extensive tumour or cyst.)

NW003	Biogran	Resorbable Synthetic Bone Graft	3i Biogran 750mg Glass Syringe 	$110.00	Only to be funded where used in

2 pack; 3I Biogran 750mg Glass	a service for which a Medicare

Syringe 7 pack; 3I Biogran 	Benefit is payable

500mg Mixing Cup 7 pack; 3I

750mg Mixing Cup 7 pack; 3I

Biogran 1500mg Mixing Cup 7

NW004	Endobon Xenograft Granules	Hydroxyapatite granules	0.5-1mm diameter; 0.5ml, 	$300.00

1.0ml, 2.0ml

Henry Schein/Halas Pty Ltd

HD006	Dental Implants	Titanium type 4 and 5	3.25 to 6.0mm diameter, 6.0 to 	$96.00	Only to be funded where used in

52.5mm length	a service for which a Medicare

Benefit is payable

HD007	Bio-Oss Collagen	The product consists of Bio-Oss 	1 preformed block of 	$448.00

grannules, embedded in 10% porcine 	cancellous-bone granulate and

collagen.  The collagen component is 	collagen, block sizes 500mg

resorbed within a few weeks.  The

properties of the Bio-Oss granules remain

unchanged.  The collagen component of

Bio-Oss Collagen facilitates the hand

Prostheses List by Category, Groups and Sponsor	Page 621 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HD008	Bio-Oss Collagen	The product consists of Bio-Oss 	1 preformed block of 	$248.00

grannules, embedded in 10% porcine 	cancellous-bone granulate and

collagen.  The collagen component is 	collagen, block size 250mg

resorbed within a few weeks.  The

properties of the Bio-Oss granules remain

unchanged.  The collagen component of

Bio-Oss Collagen facilitates the hand

HD009	Bio-Oss	The material consists of anorganic bovine	Cancellous Bone Block - 1cm 	$360.00

bone matrix sterilized by gamma-	x1cm x2cm

irradiation.  Bio-Ossis a natural bone

mineral for filling of bone defects in

maxillfacial surgery, implantology, and

periodontology, eg. Preparation of implant

HD014	Bio-Oss Collagen	The product consists of Bio-Oss 	1 preformed block of 	$133.00

grannules, embedded in 10% porcine 	cancellous-bone granulate and

collagen.  The collagen component is 	collagen, block size 100mg

resorbed within a few weeks.  The

properties of the Bio-Oss granules remain

unchanged.  The collagen component of

Bio-Oss Collagen facilitates the hand

Neoss Australia Pty Ltd

NJ001	Neoss Implant System	Titanium Dental Implant	Diameters 3.5, 4.0, 4.5, 5.0 & 	$350.00	Only to be funded where used in

5.5mm in Lengths: 7, 9, 11, 13, 	a service for which a Medicare

15, 17mm	Benefit is payable

Nobel Biocare Australia Pty Ltd

NR003	Branemark Fixtures	Titanium Fixture	3, 4, 5mm	$467.00	Endosseous Implants -  (Not to

be included for dental treatment

except as a secondary procedure

when partial or complete

resection of a mandible or maxilla

has been undertaken for removal

of an extensive tumour or cyst.)

NR006	Branemark Novum System	Titanium - Kit Fixture System	One size only	$350.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

NR009	NobelDirect Implant	Dental Implant Endosseous incorporating 	10mm, 13mm, 16mm	$467.00	$617.00	To be funded only when used in

abutment, Titanium	MBS procedures relating to

oncology

Prostheses List by Category, Groups and Sponsor	Page 622 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

NR010	Replace Implant	Dental Implant Endosseous, Titanium	10mm, 13mm, 16mm	$467.00	To be funded only when used in

MBS procedures relating to

oncology

NR011	NobelPerfect Implant	Dental Implant Edosseous, Titanium	10mm, 13mm, 16mm	$467.00	To be funded only when used in

MBS procedures relating to

oncology

NR012	Groovy Implants (NobelReplace Straight	Dental Implants, endosseous	Diameter 3.5 - 6.0mm; Length 	$467.00

Groovy, NobelReplace Tapered 	8.0 - 18.0mm

Groovy, NobelSpeedy Replace,

Branemark System Mk III Groovy,

NR013	NobelActive implants	Dental implants, endosseous	Diameter 3.5 - 5.0mm; Length 	$467.00

8.5 - 18.0mm

Straumann Pty Ltd

SB001	Straumann Pty Ltd	Straumann Dental Implant NNI/RN/WNI	Diameter 3.3 - 4.8mm Length 6 	$360.00

- 16mm

7.3.3.1 Dental Implants - Zygomatic Bone Implants

Nobel Biocare Australia Pty Ltd

NR007	Branemark Titanium Fixture	Zygomaticus Fixture	30, 35, 42.5, 40, 45, 47.5, 50, 	$600.00	$800.00	Only to be funded where used in

52.5mm Length	a service for which a Medicare

Benefit is payable

7.3.4 Dental Implants, Orthodontic skeletal anchor plate

Biomet Australia Pty Ltd

BH042	Metamorfix	Plate, Y, T, straight, hook left, straight or	long, standard hook	$260.00

right.

Stryker Australia Pty Ltd

SK420	Orthodontic Skeletal Anchor Plate	Orthodontic Skeletal Anchor Plate, 	1.7mm	$260.00

Locking

Stryker Australia Pty Ltd

SK421	Orthodontic Skeletal Anchor Plate	Orthodontic Skeletal Anchor Plate 	1.7mm	$320.00

Prostheses List by Category, Groups and Sponsor	Page 623 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Screw

Stryker Australia Pty Ltd

SK422	Orthodontic Skeletal Anchor Screw	Anchor Screw for Mandibular Maxillary 	1.7mm	$110.00

Fixation Screw, Self-Drilling

SK423	Orthodontic Skeletal Anchor Screw	Anchor Screw for Mandibular Maxillary 	2.0mm	$110.00

Fixation Screw, Self-Drilling

7.4.1 Distractor System, Complete

7.4.1.1 Distractor System, Complete, External, Midface

Multivector

Medical & Optical Instruments Australia Pty Ltd

MO236	Martin Rigid External Distraction 	RED II Aluminium Cranium Frame and 	One Size Only	$8,791.00	Only to be funded where used in

System II (RED II)	Carbon Fibre Rods	a service for which a Medicare

Benefit is payable

7.4.1.2 Distractor System, Complete, External, Mandible

Multivector

Stryker Australia Pty Ltd

SK183	Leibinger Intraoral Distractor 	Manufactured from stainless steel, allows	Frame 20mm - 35mm, 2.0mm 	$4,150.00	Temporary approval pending

(Multiguide II)	 gradual, independent, and simultaneous 	diameter, 50 - 90 mm length 	review of product group in Feb

distraction of the mandible in 3 planes.	Auto - Pilot Pins

Synthes Australia Pty Ltd

SY349	Multi Vector Distractor Set	Titanium Multi Vector Distractor	MVD Arms:15mm-85mm. Pin 	$1,955.00	Temporary approval pending

holding clamps-	review of product group in Feb

ramus,body,universal,limited

bone stock ramus and body.

Assembly left & right 35mm. K

wires 2.0mm 150mm length.

Connecting bar 4.0mm 100mm-

SY401	External Midface Distractor System	Head Frame Assembly, Carbon Fibre Rods	One size only	$8,100.00

7.4.1.3 Distractor System, Complete, Other

Single Vector

Medical & Optical Instruments Australia Pty Ltd

MO233	Internal Distraction Device	Titanium	1.5mm	$7,100.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 624 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.4.1.4 Distractor System, Complete, Internal/Intraoral

Multivector

Medical & Optical Instruments Australia Pty Ltd

MO239	Intra-Oral Distraction System	Titanium Distraction Device. Complex 	15 - 60mm distraction length	$3,100.00	Only to be funded where used in

Midface and Reconstructive	a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP045	Logic Distraction System	Distractor, spacers & activation set	Straight, Curved 18-52mm	$3,150.00

Single Vector

Biomet Australia Pty Ltd

BI823	Alveolar Ridge Distraction System - 	distraction device, single tooth	10-20mm	$1,955.00	Temporary approval pending

titanium	review of product group in Feb

BI824	Alveolar Ridge Distraction System - 	distraction device, multi tooth	10-20mm	$1,955.00	Temporary approval pending

titanium	review of product group in Feb

Medical & Optical Instruments Australia Pty Ltd

MO135	Martin Internal Distraction System	Titanium Distractor	10 to 20mm	$1,955.00	$2,700.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY399	Alveolar Distractor	Vertical mandibular, maxilla alveolar ridge	8-16mm	$1,955.00

distractor

SY408	Mandible External Fixator	Three Quarter Mandible	One size	$1,460.00

SY409	Mandible External Fixator	Full Mandible	One size only	$1,460.00

SY410	Mandible External Fixator	Full Mandible Ramus	One size	$1,460.00

SY411	Mandible External Fixator	Hemi Mandible	One size	$1,460.00

Single Vector, Resorbable

Biomet Australia Pty Ltd

BI934	Lactosorb Distraction System	Plate, drive screw and distractor, 	Small, Medium, Large	$3,500.00	Temporary approval pending

PGA/PLLA, Ti	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 625 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.4.2 Distractor System, Component

7.4.2.2 Distractor System, Component, Diestractor Body

Synthes Australia Pty Ltd

SY515	Midface Distractor System	Distractor System, Distractor Body	10-40mm distraction length	$1,955.00	$2,200.00

7.4.2.3 Distractor System, Component, Footplate

Medical & Optical Instruments Australia Pty Ltd

MO242	Martin Rigid External Distraction Device	RED II Titanium Fixation Plate	1.5mm	$156.00	Only to be funded where used in

II (REDII)	a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK455	Leibinger Endosseous Alveolar Ridge 	Dual plate with threaded transport rod, 	Single Tooth	$1,312.00	Temporary approval pending

Distraction System	titianium	review of product group in Feb

Synthes Australia Pty Ltd

SY404	External Midface Distractor System	Maxillary Footplate Assembly	80mm-110mm	$480.00

SY406	External Midface Distractor System	Titanium Zygomatic, Maxxilary Footplate	3 holes, 40mm	$156.00

SY516	Midface Distractor System	Distractor System, Assembly,Footplate	6-25mm	$480.00	$800.00

7.4.2.4 Distractor System, Component, Rod

Synthes Australia Pty Ltd

SY402	External Midface Distractor System	Horizontal Rod Assembly	One size only	$990.00

7.4.2.5 Distractor System, Component, Cross Bar

Medical & Optical Instruments Australia Pty Ltd

MO246	Martin Rigid External Distraction 	REDII Aluminium and Carbon Fibre 	One size only	$990.00	$1,560.00	Only to be funded where used in

System II (REDII)	Cross-Bar Assembly	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 626 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.4.2.6 Distractor System, Component, Screws/Pins (other than bone screws)

Medical & Optical Instruments Australia Pty Ltd

MO234	Martin Rigid External Distraction 	RED II Titanium Cranial Fixation Screws	45-55mm	$148.00	$217.00	Only to be funded where used in

System II (REDII)	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY517	Midface Distractor System	Distractor System, Screw	4-10mm	$75.00

7.4.2.9 Distractor System, Component, Other

Biomet Australia Pty Ltd

BI825	Alveolar Ridge Distraction System - 	Shim plate, titanium	1-3mm	$100.00	Temporary approval pending

titanium	review of product group in Feb

Medical & Optical Instruments Australia Pty Ltd

MO240	Martin Rigid External Distraction Device	RED II Titanium Maxillary Fixation	1.5mm - 1.8mm	$1,461.00	$1,696.00	Only to be funded where used in

II (REDII)	a service for which a Medicare

Benefit is payable

Synthes Australia Pty Ltd

SY518	Midface Distractor System	Distractor System , Body extentions	20-40mm	$500.00

7.5.1 Soft Tissue (other), Mammary Implants & Tissue Expanders,

LMT Surgical Pty Ltd

LM030	Synovis Coupler	High Density polyethylene (ring); 	Diameter 1-3mm	$620.00	$625.00	Only to be funded where used in

Stainless Steel (pins)	a service for which a Medicare

Benefit is payable

7.5.2 Muscular

7.5.2.1 Calf implant

Medical Device Alliance Pty Ltd

MP005	Calf Implants	Asymmetrical shape, silicone gel smooth  	85-180cc	$517.00	Only to be funded where used in

surface	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 627 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MP008	Calf Implant	Silicone elastomer - smooth surface, 	70-175cc	$517.00	Only to be funded where used in

asymmetrical shape,	a service for which a Medicare

Benefit is payable.

MP014	Calf Implant	Silicone elastomer - smooth surface, 	15-105cc	$517.00	Only to be funded where used in

symmetrical shape	a service for which a Medicare

Benefit is payable.

MP016	Calf Implants	Symmetrical shape, silicone gel	12-140cc	$517.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

7.5.2.2 Gluteal

Medical Device Alliance Pty Ltd

MP017	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Smooth	100-300cc	$620.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP018	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Textured 	200-400cc	$620.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP019	Gluteal Implants filled with Gel	Round Shape, Silicone Gel, Smooth 	200-300cc	$620.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP020	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Smooth 	95-260cc	$620.00	Only to be funded where used in

Surface	a service for which a Medicare

Benefit is payable

MP021	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Textured	225-420cc	$620.00	Only to be funded where used in

Surface	a service for which a Medicare

Benefit is payable.

MP022	Gluteal Implants filled with Elastomer	Round Shape, Silicone Elastomer, 	250-340cc	$620.00	Only to be funded where used in

Smooth Surface	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 628 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.5.3 Facial

Surgiplas Medical

SP048	Gel Filled Mammary Prosthesis Models 	Smooth Round	80 to 800ml	$610.00	In strict accordance with

RGI-D, RGI-DH and RGI-DEH	Medicare Benefits Schedule

Items Number 45524, 45527,

45528, 45542, 45552, 45554,

7.5.3.1 Facial, otherwise unspecified

Medical Device Alliance Pty Ltd

MP010	Facial Implant Chin	Anotomical chin	Small, medium, large/left, right	$275.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP012	Facial Implant Chin	Chin	Small, medium, large/left, right	$258.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

MP034	Facial Implant - Ear	One size only	$496.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Mentor Medical Systems

MN020	Implantech Facial Implants - Chin 	Implantech Anatomical Chin;Flowers 	Extra small, Small, Medium, 	$420.00	Only to be funded where used in

Prostheses	Mandibular Glove;Terino Extended 	Large, Extra Large	a service for which a Medicare

Anatomical Chin;Terino Square Chin 	Benefit is payable.

Style I;Mittleman Pre-Jowl;Glasgold

Wafer for Pre-Jowl Chin;Mittleman Pre-

Jowl Chin;Glasgold Wafer for Extended

Anatomical Chin;Silicone Chin;Terino Squ

7.5.3.2 Malar

Medical Device Alliance Pty Ltd

MP007	Facial Implant Malar	Malar	Small, medium, large/left or right	$330.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 629 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MP035	Facial Implant Malar	Malar Anatomical	Small, medium, large/left or right	$330.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Polymer

Anatomics Pty Ltd

AT058	E-POR Biomaterial/ Transsphenoidal 	Transphenoidal Sellar Contourable Porous	2.5mm x 20mm - 40mm	$500.00

Sellar Contourable Porous Polyethylene	 Polyethylene

Two Stage

Mentor Medical Systems

MN003	Terino Malar Shell Implants	Solid-silicone, Implantech	Small, medium, large, xlarge	$490.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.5.4 Mammary implants

Mentor Medical Systems

MN010	Mentor Saline-Filled Anterior Diaphragm	Mammary Prothesis - Smooth	125 to 700cc	$640.00	In strict accordance with the

Valve Mammary Prosthesis 	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MN014	Mentor Medical Systems Smooth Low 	a	100,125,150,175,200,225,250,2	$715.00	In strict accordance with the

Bleed Gel-Filled,  Mammary Prostheses 	75,300,325,400,450,500,550,60	requirements of the Medicare

Breast, Permanently Implantable	0,700,800cc	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MN015	Mentor Siltex Low Bleed Gel-Filled 	.	100,125,150,175,200,225,250,2	$685.00	In strict accordance with the

(Moderate Profile) Mammary 	75,300,325,350,375,400,500,55	requirements of the Medicare

Prostheses Breast, Permanently 	0,600,700,800cc	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MN028	Spectra Adjustable Gel Breast Implant 	Adjustable Gel Breast Implant (Smooth)	190cc-760cc	$1,050.00	$1,350.00

(Smooth)

MN029	Spectra Adjustable Gel Breast Implant	Adjustable Breats Implant	190cc to 760cc	$1,125.00	$1,400.00

Prostheses List by Category, Groups and Sponsor	Page 630 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Formed

Mentor Medical Systems

MN017	Mentor Medical Systems Contour 	.	120,135,155,180,215,245,280,3	$1,200.00	In strict accordance with the

Profile Gel-filled Mammary Prostheses, 	15,355,395,440,480,530,640,77	requirements of the Medicare

Breast, Permanently Implantable	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Formed, Pre-shaped, Textured

Device Technologies Australia Pty Ltd

DE274	Style 510 Dual Gel Breast Prosthesis	Anatomical textured implant with dual gel 	LX sizes from 130-575 grams, 	$1,200.00	$1,500.00

for projection of nipple/areola complex, 	MX sizes from 145-600 grams,

concave base and tapered edges for 	FX sizes from 165-630 grams

minimisation of edge/thoracic wall

High profile

Mentor Medical Systems

MN016	Mentor Siltex Low Bleed Gel-Filled 	.	75, 200, 225, 250,  275, 300, 	$685.00	In strict accordance with the

(High Profile) Mammary Prostheses 	325, 350, 400, 450, 500, 550cc	requirements of the Medicare

Breast, Permanently Implantable	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MN018	Smooth High Profile Gel-filled 	Mammary prostheses	125cc-Model 350-1254BC; 	$685.00	In strict accordance with the

Mammary Prostheses	150cc-Model 350-1504BC; 	requirements of the Medicare

175cc-Model 350-1754BC; 	Benefits Schedule Items Number

200cc-Model 350-2004BC; 	45524, 45527, 45528, 45542,

225cc-Model 350-2254BC; 	45552, 45554, 45555 only.

250cc-Model 350-2504BC;

275cc-Model 350-2754BC;

300cc-Model 350-3004BC;

325cc-Model 350-3254BC;

350cc-Model 350-3504BC;

375cc-Model 350

MN019	Siltex High Profile Gel-filled Mammary 	Mammary Prostheses	125cc-Model 354-4125; 150cc-	$685.00	In strict accordance with the

Prostheses	Model 354-4150; 175cc-Model 	requirements of the Medicare

354-4175; 200cc-Model 354-	Benefits Schedule Items Number

4200; 225cc-Model 354-4225; 	45524, 45527, 45528, 45542,

250cc-Model 354-4250; 275cc-	45552, 45554, 45555 only.

Model 354-4275; 300cc-Model

354-4300; 325cc-Model 354-

4325; 350cc-Model 354-4350;

375cc-Model 354-4375; 400cc-

Model 3

Prostheses List by Category, Groups and Sponsor	Page 631 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MN024	Round Cohesive Gel-Filled Mammary 	Model 354-1009; Model 354-1259; Model	100cc, 125cc, 150cc, 175cc, 	$760.00	Only to be funded where used in

Prosthesis	 354-1509; Model 354-1759; Model 354-	200cc, 225cc, 250cc, 275cc, 	a service for which a Medicare

2009; Model 354-2259; Model 354-2509; 	300cc, 325cc, 350cc, 375cc, 	Benefit is payable.

Model 354-2759; Model 354-3009; Model	400cc, 450cc, 500cc, 550cc,

354-3259; Model 354-3509; Model 354-

3759; Model 354-4509; Model 354-5009;

Model 354-5509; Model 354-6009;

Surgiplas Medical

SP011	Nagosil SFS-LP-Saline Filled Low 	Smooth surface	100 to 600cc	$640.00	In strict accordance with the

Profile Smooth Surface Breast 	requirements of the Medicare

Prostheses, Nagosil SFS-HP-Saline 	Benefits Schedule Items Number

Filled High Profile Smooth Surface 	45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

High profile, Textured

Surgiplas Medical

SP012	Nagotex SFX-LP-Saline Filled Low 	Textured surface	100 to 600cc	$715.00	In strict accordance with the

Profile Textured Surface, Nagotex SFX-	requirements of the Medicare

HP-Saline Filled High Profile Textured 	Benefits Schedule Items Number

Surface Breast Prostheseses	45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Silcone shell, Textured, Medium profile, Valved

Device Technologies Australia Pty Ltd

DE033	Style 168 Biocell Textured Mammary 	Silicone shell filled with saline	120 - 150 cm3 x 510 - 540 cm3	$685.00	In strict accordance with the

Implant	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Silicone shell, High profile, Valved

Device Technologies Australia Pty Ltd

DE121	Mammary Prosthesis	Smooth Surface - Saline	120 to 510cc	$640.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Prostheses List by Category, Groups and Sponsor	Page 632 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Textured

Medical Vision Australia Pty Ltd

MF013	Pip Breast Implant Gel Filled	Round Smooth Extra High profile	245cc to 495cc	$750.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Mentor Medical Systems

MN004	Mentor Siltex Spectrum Saline Tissue 	Saline Mammary Prostheses	Volume 275cc - 650cc	$1,125.00	In strict accordance with the

Expander	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Surgiplas Medical

SP047	Gel Filled Mammary Prosthesis Models 	Textured Round	80 to 800ml	$760.00	In strict accordance with

GFX-LP, GFX and GFX-EHP	Medicare Benefits Schedule

Items Number 45524, 45527,

45528, 45542, 45552, 45554,

Textured, Formed, Pre-shaped

Medical Vision Australia Pty Ltd

MF007	Pip Breast Implant Gel Filled	Asymmetric Textured Right	200cc to 450cc	$1,000.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MF008	Pip Breast Implant Gel Filled	Asymmetric textured Left	200cc to 450cc	$1,000.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Textured, Formed, Pre-shaped, Silicone shell

Device Technologies Australia Pty Ltd

DE120	McGhan Style 410 & 410 Soft Touch 	Full, moderate or low height, Extra Full, 	125 - 775 grams	$1,200.00	In strict accordance with the

Biodimensional Biocell Textured 	Full, moderate or low projection	requirements of the Medicare

Cohesive Gel-filled Mammary Implant	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Prostheses List by Category, Groups and Sponsor	Page 633 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

valved, textured

Mentor Medical Systems

MN011	Mentor Saline Siltex Anterior Diaphragm	Mammary Prothesis - Textured	125 to 475cc	$685.00	In strict accordance with the

ValveMammary Prosthesis	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

7.5.4.1.2 Mammary implants, Saline filled, 500cc - 650cc

High profile

Mentor Medical Systems

MN023	Smooth Round High Profile Saline-Filled	Model 350-3170; Model 350-3190; Model	170cc, 190cc, 210cc, 230cc, 	$715.00	Only to be funded where used in

Mammary Prosthesis	 350-3210; Model 350-3230; Model 350-	250cc, 270cc, 290cc, 310cc, 	a service for which a Medicare

3250; Model 350-3270; Model 350-3290; 	330cc, 380cc, 420cc, 460cc, 	Benefit is payable.

Model 350-3310; Model 350-3330; Model

350-3380; Model 350-3420; Model 350-

3460; Model 350-3500; Model 350-3560;

Model 350-3630

Silcone shell, Formed, Textured, Valved

Device Technologies Australia Pty Ltd

DE030	Style 468 Biodimensional Saline-filled 	Silicone shell filled with saline	195 - 205 cm3 x 620 - 650 cm3	$950.00	$1,100.00	In strict accordance with the

Mammary Implant	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

7.5.4.2 Mammary implants, Gel filled

Medical Device Alliance Pty Ltd

MP056	Silimed Anatomical Textured Mammary 	Anatomical shape, textured surface, 	115cc to 600cc	$790.00	$1,050.00

Implant	silicone gel filled mammary implant

Prostheses List by Category, Groups and Sponsor	Page 634 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.5.4.2.1 Mammary implants, Gel filled, < 500cc

High profile, Silcone shell, Textured

Device Technologies Australia Pty Ltd

DE106	Allergan Type MLP, MHP, TRL, TRM, 	Low, Medium, High & Extra High profile,	80 - 800 grams	$760.00	In strict accordance with the

TRF, TRX Low, Medium, High & Extra	 textured surface	requirements of the Medicare

High Profile Gel-Filled Mammary 	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

High profile, Textured

Medical Vision Australia Pty Ltd

MF057	Cereform "Optima" Silicone Gel-Filled 	Silicone gel-filled breast implant with very	240cc to 500cc	$750.00

Breast Implant	 high profile and filled with "Optima" high

cohesive gel.

Silicone shell, High profile

Device Technologies Australia Pty Ltd

DE104	Allergan Style 40, 45, SSL, SSM, SSF, 	Round: low, medium, high & extra high 	110 - 800 grams	$685.00	In strict accordance with the

SSX Intrashiel Gel-Filled Round 	profile	requirements of the Medicare

Mammary Implant	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Textured

Medical Vision Australia Pty Ltd

MF014	Pip Breast Implant Gel Filled	Round Textured Extra High profile	245cc to 495cc	$750.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MF056	Cereform Silicone Breast Implant, 	Silicone gel-filled breast implant.	100cc - 500cc	$700.00

Round, Smooth and Textured Surface

Textured, Formed

Medical Vision Australia Pty Ltd

MF054	Cereform Silicone Breast Implant, 	Silicone Gel-Filled Breast Implant	100cc to 545cc	$790.00	$1,200.00

Anatomical, Textured Surface

Prostheses List by Category, Groups and Sponsor	Page 635 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.5.4.2.2 Mammary implants, Gel filled, 500cc - 650cc

Medical Vision Australia Pty Ltd

MF009	Pip Breast Implant Gel Filled	Round Smooth Standard profile	85cc to 705cc	$700.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MF010	Pip Breast Implant Gel Filled	Round Smooth High profile	90cc to 680cc	$700.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Formed, Pre-shaped

Surgiplas Medical

SP049	Gel Filled Mammary Prosthesis Models 	CoGel High Cohesive	100 to 790gm	$1,000.00	In strict accordance with

CoGel-XR, CoGel-XRH, CoGel-XL, 	Medicare Benefits Schedule

CoGel- XM and CoGel XA	Items Number 45524, 45527,

45528, 45542, 45552, 45554,

Silicone shell, High profile, Textured

Device Technologies Australia Pty Ltd

DE102	McGhan Style 110 & 120 Biocell 	Round: Moderate or high profile	90 - 650 grams	$760.00	In strict accordance with the

Textured, Intrasheild barrier Gel-Filled 	requirements of the Medicare

Mammary Implant	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Textured

Medical Device Alliance Pty Ltd

MP060	Silimed Anatomical Polyurethane Breast 	Polyurethane coated silicone gel breast 	115cc to 640cc	$790.00	$1,100.00

Implant	implant

Medical Vision Australia Pty Ltd

MF006	Pip Breast Implant Gel Filled	Reconstruction Anatomical Textured	180cc to 600cc	$790.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Prostheses List by Category, Groups and Sponsor	Page 636 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MF011	Pip Breast Implant Gel Filled	Round textured Standard profile	85cc to 705cc	$700.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

MF012	Pip Breast Implant Gel Filled	Round Textured High profile	90cc to 680cc	$700.00	In strict accordance with the

requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

7.5.4.2.3 Mammary implants, Gel filled, 651cc - 850cc

High profile

Mentor Medical Systems

MN030	Perthese Sensitive Gel Breast Implants	Perthese Sensitive ultra high profile	95cc - 705cc	$685.00	$950.00

MN033	Perthese Sensitive Gel Breast Implants	Perthese Sensitive high profile	90cc - 850cc	$685.00	$950.00

Medium profile

Mentor Medical Systems

MN031	Perthese Sensitive Gel Breast Implants	Perthese Sensitive moderate profile	100cc - 800cc	$685.00	$950.00

Textured

Medical Device Alliance Pty Ltd

MP059	Silimed Polyurethane Breast Implant	Polyurethane coated silicone gel breast 	40cc to 695cc	$760.00	$780.00

implant

7.5.4.2.4  Mammary implants, Gel filled, >850cc

Medium profile

Mentor Medical Systems

MN032	Perthese Sensitive Gel Breast Implants	Perthese Sensitive moderate plus profile	115cc - 910cc	$685.00	$950.00

7.5.4.2.5 Mammary implants, Gel filled, unspecified volume or various

Formed, Textured

Surgiplas Medical

SP114	Nagor Breast Implants	Silicone Firm and Stable Gel Breast 	150 - 620cc	$760.00	$790.00

Prostheses List by Category, Groups and Sponsor	Page 637 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Silcone shell, High profile

Device Technologies Australia Pty Ltd

DE110	Allergan Type SLD, SHD, SRL, SRM, 	Low, Medium, High or Extra High Profile	100 - 800 grams	$685.00	In strict accordance with the

SRF, SRX Smooth Silicone Gel-filled 	requirements of the Medicare

Mammary Implant	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Silicone shell, High profile, Textured

Device Technologies Australia Pty Ltd

DE109	Allergan styles CML, CMH, TSL, TSM,	Silicone Cohesive Gel-Filled Breast 	80 - 800 grams	$790.00	In strict accordance with the

TSF, TSX	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

7.5.4.3 Pectoral implant

Medical Device Alliance Pty Ltd

MP037	Pectoral Implants	Gel - Smooth surface	190cc - 300cc	$950.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.5.4.4 Intraclavicular implant

Medical Device Alliance Pty Ltd

MP036	Infraclavicular Implant	Infraclavicular Implant	14cc; 20cc; 38cc; 63cc; 122cc	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.5.5 Skin, artificial

7.5.5.1 Skin, artificial, small, 50cm2

Integra Neurosciences Pty Ltd

IG034	Integra Artificial Skin (IDRT) 	INTEGRA  Dermal Regeneration 	5cm x 5cm	$900.00

Terminally Sterile	Template is a bilayer membrane system

for skin replacement made of a porous

matrix of fibers of cross-linked bovine

tendon collagen and glycosaminoglycan

Prostheses List by Category, Groups and Sponsor	Page 638 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.5.5.2 Skin, artificial, medium, 50-149cm2

Integra Neurosciences Pty Ltd

IG035	Integra Artificial Skin (IDRT) 	INTEGRA  Dermal Regeneration 	10cm x 12.5cm	$1,140.00

Terminally Sterile	Template is a bilayer membrane system

for skin replacement made of a porous

matrix of fibers of cross-linked bovine

tendon collagen and glycosaminoglycan

7.5.5.3 Skin, artificial, large, 150-400cm2

Integra Neurosciences Pty Ltd

IG036	Integra Artificial Skin (IDRT) 	INTEGRA  Dermal Regeneration 	10cm x 25cm	$1,740.00

Terminally Sterile	Template is a bilayer membrane system

for skin replacement made of a porous

matrix of fibers of cross-linked bovine

tendon collagen and glycosaminoglycan

7.5.5.4 Skin, artificial, extra large, >400cm2

Integra Neurosciences Pty Ltd

IG037	Integra Artificial Skin (IDRT) 	INTEGRA  Dermal Regeneration 	20cm x 25cm	$3,380.00

Terminally Sterile	Template is a bilayer membrane system

for skin replacement made of a porous

matrix of fibers of cross-linked bovine

tendon collagen and glycosaminoglycan

7.5.6 Testicular implant

Medical Device Alliance Pty Ltd

MP015	Testicular Implant	Silicone with holes for fixation 3230	5-38cc	$653.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 639 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.5.8 Tissue expanders

Formed, Pre-shaped, Dual chamber, Valved

Device Technologies Australia Pty Ltd

DE100	McGhan Style 150 Biodimensional 	Full height, Short Height, t	9.6 -16cm width x 8 - 17cm 	$2,040.00	$2,420.00	In strict accordance with the

Biocell Textured Expand Gel/Saline 	height x 4.2 - 7.1cm projection	requirements of the Medicare

Filled Mammary Implant, Low Pole	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

7.5.8.1.1 Tissue expanders, skin or mammary, up to 850cc

Medical Device Alliance Pty Ltd

MP041	Tissue Expander	Double Chamber, Smooth, 	320-850	$1,050.00	Only to be funded where used in

Remote port	a service for which a Medicare

Model # 730	Benefit is payable

Mentor Medical Systems

MN002	Expanders, skin	-	Volume 350cc - 800cc	$1,050.00	Only to be funded where used in

a service for which a medicare

benefit is payable.

Two stage, Valved

Medical Device Alliance Pty Ltd

MP044	Silimed Tissue Expander	Double chamber, textured, magnetic, 	470mm-780mm	$1,050.00	Only to be funded where used in

with suture tabs. Catalogue number: 20799	a service for which a Medicare

Benefit is payable

valved

Medical Device Alliance Pty Ltd

MP042	Silimed Tissue Expanders	Anatomical shape, textured, remote port. 	200ml-800ml	$1,050.00	Only to be funded where used in

Catalogue number: 20760	a service for which a Medicare

Benefit is payable

MP045	Tissue Expander	Crescent model, Smooth,	12-700ml	$1,050.00	Only to be funded where used in

Remote Port	a service for which a Medicare

Models # 820, 827, 829	Benefit is payable

MP047	Silimed Tissue Expanders	Specialised shapes, smooth, remote port. 	145ml-520ml	$900.00	Only to be funded where used in

Catalogue numbers: 830, 880	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 640 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

7.5.8.1.2 Tissue expanders, skin or mammary, 850cc up to 1250cc

Mentor Medical Systems

MN001	Mentor Radovan Tissue Expander	-	Volume 25cc - 1000cc	$670.00	Only to be funded where used in

a service for which a medicare

benefit is payable.

valved

Medical Device Alliance Pty Ltd

MP040	Silimed Tissue Expanders	Various shapes, smooth, remote port. 	1ml - 1000ml	$670.00	Only to be funded where used in

Catalogue numbers: 80x, 81x, 82x, 807, 	a service for which a Medicare

817, 741, 841, 851, 881, 861	Benefit is payable

MP046	Tissue Expander	Rectangular model, Smooth,	30-1000ml	$670.00	Only to be funded where used in

Remote Port	a service for which a Medicare

Models # 810, 819, 817	Benefit is payable

valved, textured, 1000cc

Device Technologies Australia Pty Ltd

DE034	Allergan Biospan Tissue Expander	Silicone Elastomer. Saline filled.	150-950 cm3	$1,250.00	Only to be funded where used in

a service for which a medicare

benefit is payable.

7.5.8.1.3 Tissue expanders, skin or mammary, greater than 1251cc

Two stage, Valved

Surgiplas Medical

SP010	Nagor Tissue Expander	Remote port - silicone shell	10 to 2000cc	$890.00	Only to be funded where used in

a service for which a Medicare

benefit is payable.

7.5.8.1.4 Tissue expanders, skin or mammary, Custom

Medical Device Alliance Pty Ltd

MP043	Silimed Tissue Expander	Double chamber, textured, magnetic. 	320ml-850ml	$1,500.00	Only to be funded where used in

Catalogue number: 20739	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 641 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Two stage, Valved

Mentor Medical Systems

MN013	Mentor Siltex Becker 	.	150, 200, 250, 300, 350, 400, 	$2,040.00	In strict accordance with the

Expander/Mammary Prostheses	500, 600, 700. 800cc	requirements of the Medicare

Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

7.5.8.3 Tissue expanders, Ear

Medical Device Alliance Pty Ltd

MP049	Silimed Tissue Expanders	Auricular Model # 841, 847	16-55ml	$480.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.5.8.5 Tissue expanders, Finger

Medical Device Alliance Pty Ltd

MP051	Silimed Tissue Expanders	Finger Syndactylism Model # 851, 857	1-5ml	$420.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

7.5.8.6 Tissue expanders, Orbital

Medical Device Alliance Pty Ltd

MP048	Silimed Tissue Expanders	Ball Shaped Orbital Model # 741, 747	3-60ml	$480.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Bone Matrix Implants, Artificial

Biomet Australia Pty Ltd

BI487	Mimix Calcium Phosphate Bone Void 	Calcium Phosphate	5 grams	$1,004.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 642 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI488	Mimix Calcium Phosphate Bone Void 	Calcium Phosphate	10 grams	$1,900.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI489	Mimix Calcium Phosphate Bone Void 	Calcium Phosphate	20 grams	$2,300.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Stryker Australia Pty Ltd

SK232	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix 	2.5gm pack	$650.00	Only to be funded where used in

Replacement. Sodium Phosphate Solution	a service for which a Medicare

and Mixing Bowl included	Benefit is payable

SK233	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix 	5gm pack	$1,250.00	Only to be funded where used in

Replacement. Sodium Phosphate Solution	a service for which a Medicare

and Mixing Bowl included	Benefit is payable

SK234	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix 	10gm pack	$1,920.00	Only to be funded where used in

Replacement. Sodium Phosphate Solution	a service for which a Medicare

and Mixing Bowl included	Benefit is payable

SK235	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix 	25gm pack	$3,960.00	Only to be funded where used in

Replacement. Sodium Phosphate Solution	a service for which a Medicare

and Mixing Bowl included	Benefit is payable

Cristaline I Aptex/Vertex Paragel Very Cohesive Gel Implant

Surgeons Choice Australia Pty Ltd

SH003	Eurosilicone Breast Implants	Anatomical Cohesive Gel Breast Implants 	100cc to 500cc	$1,000.00	$1,150.00

for Plastic and Reconstrive Surgery

Cristalline Paragel Very Cohesive Gel Implant

Surgeons Choice Australia Pty Ltd

SH001	Eurosilicone Breast Implants	Textured Cohesive Gel Breast Implants 	100cc to 900cc	$725.00

for Plastic and Reconstructive Surgery

Prostheses List by Category, Groups and Sponsor	Page 643 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Implanted Circulation Monitor

William A Cook Australia Pty Ltd

WC264	SYSTEM-  Doppler Blood Flow 	The Cook-Swartz Implantable Doppler 	Universal [one size]	$180.00	$390.00	Temporary Listing

Monitoring System. COMPONENT - 	Flow Probe is an implantable 20MHz

Cook-Swartz Implantable Doppler Flow 	Probe with epoxy-coated Crystal and

patented Silicone Cuff which provides

continuous direct vessel monitoring of

microvascular anastomoses. A 30cm wire

with external Retention Tabs is attached

Orthopaedic Internal Fixation Systems, Fracture

Stryker Australia Pty Ltd

ST369	Luhr Fixation System 	Luhr Mandibular Compression System: 	Curved: 30,38, 45mm, Straight: 	$152.00	Only to be funded where used in

curved, straight, metacarpal plate Vitallium	30, 40, 50, 60, 80mm, 	a service for which a Medicare

metacarpal: 41, 45mm	Benefit is payable

Orthopaedic Internal Fixation Systems, Other

Biomet Australia Pty Ltd

BI472	Lorenz Pectus Bar	Pectus Bar, Stainless Steel	178-432mm	$1,256.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI483	Lorenz Pectus Bar	Stabilizer, Triangular or Elongated, 	One size only	$505.00	Only to be funded where used in

Stainless Steel	a service for which a Medicare

Benefit is payable

BI985	W Lorenz Osteosynthesis System	Plates Straight, 1.5, 2.0 or 1.0mm 	15 - 32 holes	$204.00	$350.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BI986	Lorenz 2.4mm Locking Reconstruction 	Plates Plate, Angled 2.4mm System Ti	5 x (22 -24) hole	$1,100.00	$1,600.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Prostheses List by Category, Groups and Sponsor	Page 644 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI987	Lorenz 2.4mm Locking Reconstruction 	Plates Plate, Angled 2.4mm System, Ti	5 x 11 hole	$1,100.00	$1,300.00	Only to be funded where used in

System	a service for which a Medicare

Benefit is payable

Surgien Pty Ltd

BR001	OPRA System	Central screw - titanium	One size only	$1,860.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BR002	OPRA System	Healing cylinder - titanium	One size only	$3,150.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BR003	OPRA System	Healing screw - titanium	One size only	$2,460.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BR004	OPRA System	Fixture - titanium	16 - 20mm	$36,900.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BR005	OPRA System	Abutment - titanium	Length 47 - 77mm	$19,250.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

BR006	OPRA System	Abutment screw - titanium	Length 57 - 87mm	$5,775.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Surgiplas Medical

SP032	OsteoMed Plating & Fixation System	Lag Screws - Maxi, MMF, 3.0mm	2.4mm x (8 - 42)mm; 2.4 x (12 	$80.00	Only to be funded where used in

- 18)mm; 3.0mm x (12 - 36)mm;	a service for which a Medicare

Benefit is payable.

Paragel Cohesive Gel Implant

Surgeons Choice Australia Pty Ltd

SH002	Eurosilicone Breast Implants	Round Cohesive Gel Breast Implants for 	100cc to 900cc	$685.00

Pastic and Reconstructive Surgery

Prostheses List by Category, Groups and Sponsor	Page 645 of 865

PLASTIC AND RECONSTRUCTIVE

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Prostheses, Dental, Implantable

Neoss Australia Pty Ltd

NJ009	Neoss Implant	Healing Abutment with Screw	universal	$70.00	Only to be funded where used in

a service for which a Medicare

Benefit is payable

Skin expander

Medical Device Alliance Pty Ltd

MP052	Silimed Tissue Expander	various shapes, textured, magnetic port	150ml-1000ml	$890.00	$900.00

MP053	Silimed Tissue Expander	Various shapes, smooth, ,magnetic port	150ml-1000ml	$820.00

MP054	Silimed Tissue Expander	Anatomical superior-pole/inferior-pole 	200ml-840ml	$1,100.00

shape, textured, magnetic

MP055	Silimed Tissue Expander	Various shapes, smooth, textured, remote	12ml - 1000 ml	$750.00

Medical Vision Australia Pty Ltd

MF053	PMT Integra tissue expander	Tissue/skin Expander	5cc to 1400cc	$1,250.00

Tissue Reconstructive Materials

Medical Device Alliance Pty Ltd

MP057	Silimed Textured Mammary Implant	Textured surface silicone gel mammary 	40cc to 695cc	$650.00

implant

MP058	Silimed Smooth Mammary Implant	Smooth surface silicone gel mammary 	80cc to 1000cc	$570.00

Prostheses List by Category, Groups and Sponsor	Page 646 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.1.1 - Ankle joint and foot joint, Accessory

6.1.1.2 Liner – mobile bearing

Surgical House

SU115	Hintegra Total Ankle Prosthesis	Sliding insert	Sizes 1 - 5, thickness 5 - 9mm	$622.00

6.1.3 - Ankle joint, talar component

6.1.3.1 Uncemented

Johnson & Johnson Medical Pty Ltd

DY409	Agility LP Ankle System	Wide Ankle Talus	Size 1-6	$3,675.00

6.1.4 - Ankle joint, tibial component

6.1.4.1 Ankle joint replacement, tibial component, uncemented

Surgical House

SU113	Hintegra Total Ankle Prosthesis	Tibial implant	Right and left, sizes 1 - 6	$2,000.00

SU191	Hintegra Total Ankle Prosthesis	Tibial Implant	Right & Left, Sizes 1 - 6, 	$2,700.00

Thickness 8mm or 12mm

6.1.4.2 Ankle joint, tibial component, uncemented, bearing material bonded to the tibial

Johnson & Johnson Medical Pty Ltd

DY082	Agility LP Ankle System	Agility Ankle Tibial Shell Right and Left	Size 1-6	$1,724.00

DY418	Mobile Ankle	Tibial Tray	Size 1-6	$2,000.00	$2,500.00

6.1.4.3 Ankle joint, tibial component, uncemented, fixed bearing

Johnson & Johnson Medical Pty Ltd

DY083	Agility LP Ankle System	Agility Ankle Tibial Insert 	Size 1-6	$660.00

Prostheses List by Category, Groups and Sponsor	Page 647 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.1.5 - Replacement of other joints of the foot

6.1.5.1 Great toe, MTP, total, metatarsal component

Lifehealthcare Pty Ltd

LH347	Hemi CAP Articular Resurfacing Great 	Articular Component	12mm (1-2mm x 1.5-3mm 	$1,500.00

Toe System	offset), 15mm (1.5-2.5mm x

2.5-4.5mm offset)

Surgiplas Medical

SP061	Reflexion 1st MPJ Implant System	Reflexion metatarsal stems, 3 part 1st 	Small, medium, large	$991.00

MPJ reconstruction system, 2 part

composition - titanium/cobalt chrome, 1

part composition - titanium/UHMWPE,

6.1.5.10 Lesser toe fusion implant

Lifehealthcare Pty Ltd

LH348	Hemi CAP Articular Resurfacing Great 	Fixation Component	8mm x 16mm, 9.5mm x 18mm	$900.00

Toe System

6.1.5.2 Great toe, MTP, total, phalangeal component

Surgiplas Medical

SP063	Reflexion 1st MPJ Implant System	ReflexionPhalangeal Bases, 3 part 1st 	Small, medium, large	$1,000.00

MPJ reconstruction system, 2 part

composition - titanium/cobalt chrome, 1

part composition - titanium/UHMWPE,

6.2.1 – Wrist

6.2.1.1 Carpal component

Lifehealthcare Pty Ltd

LH256	Total Wrist Implant System	Carpal Component	Small, Medium, Large	$2,645.00

Prostheses List by Category, Groups and Sponsor	Page 648 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.2.4 - Shoulder - Humeral

6.2.4.10 Modular Humeral component – Distal components, uncemented, short (≤220mm)

Biomet Australia Pty Ltd

BI881	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Segment - 80 to 140 mm	$4,500.00

6.2.4.17 Focal defect resurfacing - Cap

Lifehealthcare Pty Ltd

LH306	HemiCAP Contoured Articular 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 	$4,035.00

Resurfacing Shoulder System	2.5mm x 2.5mm to 5.0mm x

5.0mm offset;  Articular

Component 30mm - 4.5mm x

4.5mm to 7.0mm x 7.0mm

offset; Articular Component

35mm - 6.0mm x 6.0mm to

9.5mm x 9.5mm; Articular

Component 40mm - 8.0mm x

8.0mm to 12.0mm x 12.0mm

6.2.4.19 - Special purpose/tumour prosthesis

Advanced Surgical Technologies

AD242	Limb Salvage System for the Skeletally 	Repiphysis non invasive expandable 	Custom Made	$67,600.00

Immature - Repiphysis	custom designed prosthesis for the upper

limb (all components delivered as one unit)

LSS Surgical Pty Limited

LS095	Limb Salvage System for the Skeletally 	Repiphysis non invasive expandable 	Custom Made	$67,600.00

Immature - Repiphysis	custom designed prosthesis for the upper

limb (all components delivered as one unit)

6.2.5 - Shoulder – Glenoid

6.2.5.2 Glenoid component, Metal backed

HA

Biomet Australia Pty Ltd

BI344	Copeland Shoulder System	Glenoid Component, HA Coated, Chrome 	Small, Std, Extra Deep (no 	$3,300.00

Cobalt, UHMWPE	specific size)

Prostheses List by Category, Groups and Sponsor	Page 649 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.2.5.3 Glenoid component & insert

Biomet Australia Pty Ltd

BI221	Bio-Modular Shoulder System	Glenoid Shell, Titanium	Low Profile	$1,660.00

6.2.5.7 Glenosphere

Zimmer Pty Ltd

ZI532	Zimmer Trabecular Metal Reverse 	Glenosphere - CoCr - Mo Alloy	36mm, 40mm	$1,200.00	$1,500.00

Shoulder System

6.3.1 - Intramedullary Nails

6.3.1.14 Radial/Ulnar nails

TI

Biomet Australia Pty Ltd

BI248	SST Small Bone Locking Nail	Forearm Nail, Titanium	3.5mm x (180-260mm)	$1,617.00

6.3.1.2 Femoral, Proximal long (≥220mm)

Zimmer Pty Ltd

ZI523	SIRUS Nail	Sirus Femoral Nail	9, 10, 11, 12, 13mm diam x 300	$1,050.00

to 480mm in 20mm increments

6.3.1.3 Femoral, Distal

Austofix

AX020	S2 Nail System	Cannulated supracondylar nail, stainless 	11/13mm x 160-380mm	$1,050.00	$1,085.00

CN

Surgiplas Medical

SP029	OsteoMed Plating & Fixation System	Plates - Fracture; Screws - Cannulated Lag	6 Hole Fracture Plate 47 - 	$330.00	Only to be funded where used in

52mm; 2 x 2 Hole Angled 	a service for which a Medicare

Fracture Plate; 3 x 3 Hole 	Benefit is payable.

Angled Fracture Plate; 6.5mm x

(30 -150)mm; 7.3mm x (30 -

Prostheses List by Category, Groups and Sponsor	Page 650 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.3.11 External Fixateur Standard – any long bone and pelvis

6.3.11.2 Frame - Full

Smith & Nephew Surgical Pty Ltd

SN031	Original Ilazarov System	External circular fixation system, stainless	Adult and Paediatric	$10,165.00	Temporary approval pending

steel and composite carbon fibre	review of product group in Feb

6.3.11.5 Rods

Biomet Australia Pty Ltd

BI830	EBI XFIX Vision System	Ring Connector Assembly, stainless 	1 or 2 bolt model	$1,450.00	Temporary approval pending

steel/aluminium	review of product group in Feb

6.3.11.6 Coupling devices

Com

Biomet Australia Pty Ltd

BI851	EBI XFIX Dynafix System	Clamp (Straight, Transport, Rotational T-	Ex Small, Small, Adult, 4-6mm	$1,662.00	Temporary approval pending

clamp, Adaptor, Lenghtener, Shim, Single)	review of product group in Feb

BI852	EBI XFIX Dynafix System	Clamp (Rotational Serrated T-clamp, 	Ex Small, Small, Adult, 4-6mm	$3,348.00	Temporary approval pending

Swivel, Translational, Uniplaner, CD)	review of product group in Feb

6.3.11.7 Compression/distraction device

Com

Biomet Australia Pty Ltd

BI850	EBI XFIX DynaFix System	Hip Distractor Aluminium, Stainless Steel,	One Size Only	$5,989.00	Temporary approval pending

Titanium	review of product group in Feb

6.3.12 External Fixateur Small – upper limb

6.3.12.6 Compression/distraction device

Biomet Australia Pty Ltd

BI849	EBI XFIX DynaFix System	OptiROM Passive Distractor Module	One Size Only	$2,600.00	Temporary approval pending

review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 651 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.3.2 - Intramedullary Nail Accessories

6.3.2.1 Intramedullary nail lag screw

Smith & Nephew Surgical Pty Ltd

SN481	Compression Hip Screw System	Lag Screw	55 - 140mm	$196.00

SN761	IMHS CP	Subtrochanteric lag screw	12.7mm x 70mm to 12.7mm x 	$205.00

140mm

6.3.2.6 Compression screw used with lag, long 4.5-7.5mm

Smith & Nephew Surgical Pty Ltd

SN467	Compressing Screw	For Intramedullary and compression Hip 	19mm & 28.5mm	$32.00

Screw Systems

6.3.2.9 Lag used with compression

Smith & Nephew Surgical Pty Ltd

SM155	InterTAN CHS-Integrated Interlocking 	Integrated Interlocking Screws	11mm x 7.0mm diameter, 	$410.00

Screws	65mm Lag Screw/60mm

Compression Screw (65/60),

70/65, 75/70, 80/75, 85/80,

90/85, 100/95, 105/100,

110/105, 115/110, 120/115,

125/120, 130/125, 135/130,

SN489	Intermediate Osteotomy System	Lag	35 mm - 85mm, 1 1/2" - 3-3/4"	$472.00

SN839	Trigen InterTAN Nail	Lag/Compression Screw, Titanium	30-120	$410.00

6.3.3 – Plates

6.3.3.1 Standard (screw size  ≥4.5mm)

Johnson & Johnson Medical Pty Ltd

JJ711	ALPS - Anatomic Locked Plating 	3.5MM Titanium 100° Tubular Plate	5-10 holes	$400.00

Lifehealthcare Pty Ltd

LH248	SCS Distal Radius Plate System	Left and Right, Tined	Small, Large	$1,140.00

Prostheses List by Category, Groups and Sponsor	Page 652 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthopaedic Solutions Pty Ltd

OE009	Nexfix MTP Fusion System	A bendable stainless steel bone plate and 	Left: 2+3; Right: 2+3	$730.00

screw system with unique low profile

locking screw option.  Indicated for use

in primary and revision MTP fusion

OE014	CoverLoc Volar Plate	A stainless steel volar plate system 	'22mm x 3, 4 & 8 hole left & 	$2,350.00

intended for fixation of fractures and 	right 25mm x 3 & 4 hole left &

osteotomies involving the distal radius.

The CoverLoc feature is unique and

allows both compression and lagging with

fixed angle screws.

Smith & Nephew Surgical Pty Ltd

SN062	TC 100	Narrow Compression Plate	4.5mm, 5 - 7 holes	$95.00

SN730	Accord	Orthopaedic Cable System, Titanium 	150-250mm	$2,550.00

Synthes Australia Pty Ltd

SY036	AO/ASIF Plates	1/3 Tubular plate	2-28 hole	$158.00

SY097	AO/ASIF Plates - Steel	broad straight plate DCP/LCDCP	4.5mm, 2 - 28 hole	$644.00

SY350	AO/ASIF Plate	Reconstruction Plate	2-24 holes	$530.00

Com

Synthes Australia Pty Ltd

SY030	AO/ASIF Plates	DHS plates	130-150 deg/ 2-16 hole / 43-	$875.00

27mm length / barrel 25 - 38mm

6.3.3.14 Periarticular anatomic - Calcaneal

Com

Synthes Australia Pty Ltd

SY017	AO/ASIF Plates	Calcaneal	Length 60 - 70mm	$752.00

SY188	AO/ASIF Plates	Calcaneal, Locking	3.5mm, 30 - 100mm	$1,209.00

6.3.3.16 Periarticular anatomic - Cable plate (hook/grip)

Biomet Australia Pty Ltd

BI258	BMP Cable System	Dynamic Compression Plate, 3 hole, 	One size only	$850.00

Stainless Steel

BI259	BMP Cable System	Dynamic Compression Plate, 5 hole, 	One size only	$1,200.00

Stainless Steel

Prostheses List by Category, Groups and Sponsor	Page 653 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI260	BMP Cable System	Dynamic Compression Plate, 7 hole, 	One size only	$1,638.00

stainless steel

BI261	BMP Cable System	Dynamic Compression Plate, 9 hole, 	One size only	$1,800.00

Stainless Steel

Johnson & Johnson Medical Pty Ltd

DP854	Songer Cable System - Titanium	Flex Bar - Large/Small or Flanged Crimp 	35mm/30mm	$159.00	$220.00

2 Hole Bar /Flat Bar (Pk 2)

DP858	Songer Cable System  - Stainless Steel	Flanged Crimp/Flat Bar (Pk2) or 2 Hole 	One size only	$185.00

Bar (Pk 2)

Zimmer Pty Ltd

ZI163	Zimmer Internal Fixation Systems: Cable	Cable-Ready Plate Cable Stainless Steel	610 mm long	$367.00

System

ZI167	Zimmer Internal Fixation Systems: Cable	Cable-Ready 6 Hole Plate - Stainless Steel	187mm long	$660.00

System

ZI168	Zimmer Internal Fixation Systems: Cable	Cable-Ready 8 Hole Plate - Stainless Steel	246mm long	$710.00

System

ZI169	Zimmer Internal Fixation Systems: Cable	Cable-Ready 10 Hole Plate - Stainless 	305mm long	$790.00

System

6.3.3.18 Periarticular anatomic - Cable plate with integrated cables - >2

Zimmer Pty Ltd

ZI297	Cable Ready Cable Grip System	Titanium	5 hole GTR with 4 cables	$4,050.00

ZI298	Cable Ready Cable Grip System	Titanium	2 hole GTR with 4 cables	$2,600.00

ZI299	Cable Ready Cable Grip System	Titanium	4 hole GTR with 4 cables	$3,750.00

6.3.3.2 Small (screw size 2.71mm – 4.49mm)

Medartis

EO009	Aptus Radius Locking plates	Aptus Radius Locking plates (fracture 	2.5mm locking plates, 1.6-	$1,450.00

plate, correction plate volar, correction 	2.00mm thickness

plate long volar, correction plate with flap

volar, correction plate long with flap

volar, frame plate volar, frame plate long

volar, H plate dorsal, Adaptive Plate;

Radial Head Plate; 4 Corner Plate

Prostheses List by Category, Groups and Sponsor	Page 654 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Com

Synthes Australia Pty Ltd

SY016	AO/ASIF Plates	Cloverleaf	3-6 hole, length 104mm	$674.00

TI

Lifehealthcare Pty Ltd

LH419	SBi Precise SD Distal Volar Plate	An anatomically contoured locking 	Left Distal Volar Plate, 22 x 	$2,350.00

titanium plate and titanium alloy 	52mm (Narrow)

screw/peg system intended for fixation of	Left Distal Volar Plate, 25 x

distal radius fractures via open reduction	52mm (Standard)

Left Distal Volar Plate, 22 x

75mm (Narrow-Long)

Left Distal Volar Plate, 25 x

75mm (Standard-Long)

Right Distal Volar Plate, 22 x

52mm (Narrow)

Right Distal Volar Plate, 25 x

52mm (Standard)

Right Distal Volar Plate, 22 x

75mm (Narrow-Long)

Right Distal Volar Plate, 25 x

75mm (Standard-Long)

6.3.3.3 Mini (screw size 2.01 – 2.7 mm)

Com

Zimmer Pty Ltd

ZI227	ZPS	3.5mm Straight Recon Plates	6 Hole	$801.00

ZI228	ZPS	3.5mm Curved Recon Plates	6 Hole	$857.00

ZI231	ZPS	Recon Bridge Plate	4 Hole	$950.00

TI, VAL

Zimmer Pty Ltd

ZI471	NCB Plates	Polyaxial locking plates, special titanium 	Plate size 60 to 324mm long	$2,000.00

6.3.3.4 Dynamic – hip

Smith & Nephew Surgical Pty Ltd

SN493	Paediatric Osteotomy System	Plate (hip screw)	With Prox slot 90D - 140D	$937.00

Prostheses List by Category, Groups and Sponsor	Page 655 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.3.3.5 Dynamic – supracondylar

Austofix

AX056	Tectona Hip Plate	Hip plate, locking with removable 	130, 135 and 140 degree, 2 to 8 	$800.00

targeting jig, sterile packed	hole

6.3.3.8 Periarticular anatomic - Radius

Surgiplas Medical

SP053	The Radius Plating System - Locking 	Distal radius plate system	Fracture plates volar and dorsal 	$1,675.00

2.0mm thickness, left and right

of short and long.

6.3.4 - Screws

6.3.4.1 Standard ( ≥4.5mm)

Biomet Australia Pty Ltd

BI262	EBI XFIX Dynafix System	Bone Screw, Cortical, tapered, 	2.4mm to 6.00mm diameter	$110.00	Temporary approval pending

Cancellous, Stainless Steel	review of product group in Feb

LMA PacMed Pty Ltd

PM095	Orthopaedic External Fixation System	Screw	Shaft Dia 3.0 - 6.0mm, Thread 	$115.00	Temporary approval pending

Dia 6.0 - 2.0mm, Total Length 	review of product group in Feb

40 - 260mm, Thread Length 15

PM114	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, 	Revision Locking L20-75mm	$312.00

LMT Surgical Pty Ltd

LM007	TriMed Fixation System	Bone Screw	Various	$120.00

CN

Zimmer Pty Ltd

ZI600	NCB System	NCB Cannulated Screws	14mm to 65mm	$175.00

ZI601	NCBSystem	NCB Cannulated Cancellous Screws	4.5mm x 30-90mm	$175.00

6.3.4.2 Small (2.71mm – 4.49mm)

Johnson & Johnson Medical Pty Ltd

JJ713	ALPS SFS	Cancellous Titanium Bone Screws	10-150MM	$120.00

Prostheses List by Category, Groups and Sponsor	Page 656 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Break Off

Medartis

EO032	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off 	Auto Compressive long L10 - L34	$425.00

Grip  / Cannulated

EO035	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off 	Arthrodesis large diameter L28 -	$425.00

Grip / Cannulated	 L40

LK

Johnson & Johnson Medical Pty Ltd

JJ714	ALPS SFS	Cancellous Titanium Locking Bone Screws	10-70MM	$180.00

6.3.4.3 Mini (2.01 – 2.7 mm)

Orthopaedic Solutions Pty Ltd

OE013	CoverLoc Screws	CoverLoc Screws, stainless steel, (lag & 	2.7mm & 3.3mm x 10mm-	$150.00

cortical) & Pegs (threaded & unthreaded)	26mm in 2mm increments

Break Off, TI

Medartis

EO033	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off 	FSA 2 part 9-21/14-26	$425.00

EO034	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off 	Weil self tapping L9 - L15	$425.00

Wright Medical Australia

WR035	Charlotte Foot & Ankle System	Snap-off screws, titanium alloy	2.0 dia 11, 12, 14mm. 2.7 dia 	$315.00

13, 15, 17mm

WR061	Twist-off Screw	Unique feature of two thread diameters to	2.0mm diameter x 11-15mm, 	$286.00

suit variable bone quality, specifically 	2.5mm diameter x 11-15mm,

designed for Weil-osteotomy, titanium,

self drilling and self tapping, twist-off

VAL, TI

Smith & Nephew Surgical Pty Ltd

SN890	PROMOS Reverse Modular Shoulder 	Glenoid Bone Screw	6/20mm 6/25mm, 6/30mm,  	$250.00

System	6/35mm,  6/40mm

6.3.4.5 Dynamic

CN

Synthes Australia Pty Ltd

SY054	AO/ASIF Plates	DHS/DCS lag screw	50-145mm L	$247.00

Prostheses List by Category, Groups and Sponsor	Page 657 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.3.4.7 Interference screw

Advanced Surgical Design & Manufacture Ltd

AE095	ASDM Standard ACL Fixation Screw	Standard Flat Head Screw	7 - 11mm Diameter 20mm - 	$178.00

50mm Length

AE096	ACL Fixation Screws	Round Head, Titanium	7-11mm Diameter 25 - 35mm 	$178.00

Length

Smith & Nephew Surgical Pty Ltd

SM164	BIOSURE	A non-absorbable polymer (PEEK) 	6-12mm in diameter	$440.00

interference screw for use in

ligament/tendon reconstruction

TI

Advanced Surgical Design & Manufacture Ltd

AE098	Low Profile Tibial Screw	Titanium	7 - 10mm Diameter 25 -40mm 	$240.00

Length

Arthrocare Australasia Pty Ltd

AF006	Atlantech graft fixation screw - titanium	Titanium ACL Screw	7 x 20mm, 7 x 25mm, 7 x 	$161.00

30mm,  8 x 20mm, 8 x 25mm,

8 x 30mm, 9 x 20mm, 9 x

Corin Australia Pty Ltd

CR031	LARS Interference Screw	Titanium Interference screw	5.2 - 10mm diameter, 15 - 	$340.00

6.3.5 - Pins and K-wires

6.3.5.3 Pins ( >2mm) Threaded

LMA PacMed Pty Ltd

PM097	Orthopaedic External Fixation System	Osteotite Screw	Shaft Dia 3.0 - 6.0mm, Thread 	$149.00	Temporary approval pending

Dia 6.0 - 2.0mm, Total Length 	review of product group in Feb

40 - 260mm, Thread Length 15

6.3.5.4 Pins (>2mm) Non-threaded

Biomet Australia Pty Ltd

BI304	Rush Intramedullary Pins	Stainless Steel	3.2mm x (100-250mm)	$300.00

BI306	Rush Intramedullary Pins	Stainless Steel	(6 - 6.4mm) x (280 - 440mm)	$175.00

Prostheses List by Category, Groups and Sponsor	Page 658 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN445	Steinmann Pins	Skeletal Traction Pin-Cove Point	150-200mm	$73.00

Synthes Australia Pty Ltd

SY126	AO/ASIF Intramedullary Nails	Spiral blade	Length 20 - 150mm	$655.00

6.3.6 - Wires/Cables

6.3.6.1 - Wires - Single

Johnson & Johnson Medical Pty Ltd

DP480	Isola System (Stainless Steel)	Wire with Button or Beaded Wire	18 and 20 gauge wire	$65.00

LMT Surgical Pty Ltd

LM005	TriMed Fixation Systems	Multiple stainless steel wire forms	various sizes	$465.00

Medtronic Australasia Pty Ltd

MC417	Orfil	Stainless Steel - Wire Spool	1-350mm	$375.00

Orthotech Pty Ltd

OH260	Hartshill	Wire (packet 10) stainless steel	1.2mm diam & 0.9mm diam	$65.00	The price indicated is per unit

and there are 10 units per pack.

6.3.6.2 - Wires - Double-looped wire

Johnson & Johnson Medical Pty Ltd

DP045	Isola System (Stainless Steel)	Double Wire	One size only	$65.00	$166.00

Medtronic Australasia Pty Ltd

MC506	Orfil	Double Pearl-Tipped Wires	1 - 350mm	$65.00	$166.00

6.3.6.3 - Cables - Mutli-filament

Synthes Australia Pty Ltd

SY276	Spine Cable System	Single Lead	One size only	$412.00

SY277	Spine Cable System	Double Lead	One size only	$470.00

6.3.6.4 - Cables - Mutli-filament with in-built locking device

Johnson & Johnson Medical Pty Ltd

DP859	Songer Cable System  - Stainless Steel	Isola Single Cable & Crimp (Pkt 6)	One size only	$412.00	$967.00

Prostheses List by Category, Groups and Sponsor	Page 659 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP860	Songer Cable System  - Stainless Steel	Double Loop Cable with 2 Crimps	One size only	$470.00	$660.00

DP862	Songer Cable System  - Titanium	Double Loop Cable with 2 Crimps	One size only	$470.00	$682.00

DP864	Songer Cable System  - Titanium	Isola Single Cable & Crimp (Pkt 6)	One size only	$412.00	$1,925.00

Lifehealthcare Pty Ltd

LH273	Blackstone - Posterior Cervical System	Double  Loop Cable w/Four Crimps - 	One size only	$470.00

Titanium

LH274	Blackstone - Posterior Cervical System	Single Loop Cable w/Two Crimps - 	One size only	$412.00

Medtronic Australasia Pty Ltd

MC441	Atlas Cable System (SS)	Single w/crimp and bar	One size only	$412.00

MC442	Atlas Cable System (SS)	Double w/2 crimps	One size only	$470.00

MC444	Atlas Cable System (Ti)	Single (loop end) w/crimp	One size only	$412.00

MC445	Atlas Cable System (Ti)	Double w/2 crimps	One size only	$470.00

Smith & Nephew Surgical Pty Ltd

SN732	Accord	Orthopaedic Cable System, SS Cable 	2.0mm	$621.00

Zimmer Pty Ltd

ZI164	Zimmer Internal Fixation Systems: Cable	Cable-Ready GTR Distal end Cable - 	635 mm long	$450.00

System	Cobalt Chrome

ZI173	Zimmer Internal Fixation Systems: Cable	Cable-Ready GTR Cable - Proximal 	635mm long	$505.00

System

ZI174	Zimmer Internal Fixation Systems: Cable	Cable-Ready Stainless Steel Cable	1.8mm	$407.00

System

TI

Orthotech Pty Ltd

OH258	Songer cable system	Double loop titanium spinal cable plus 	One size only	$470.00	$520.00

6.3.6.5 - Cables, Multi-filament with >1 locking device

TI, VAL

Zimmer Pty Ltd

ZI290	Cable Ready Cable Grip System	Titanium - comes with two cables (Co 	23 x 53mm, 1.8 x 635mm	$1,736.00

Cr), Integral Crimps

Prostheses List by Category, Groups and Sponsor	Page 660 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.3.7 - Wire/Cable Accessories

6.3.7.1 Locking device

Medtronic Australasia Pty Ltd

MC443	Atlas Cable System (SS)	Crimp	One size only	$170.00

MC446	Atlas Cable System (Ti)	Crimp	One size only	$170.00

TI

Lifehealthcare Pty Ltd

LH272	Blackstone - Posterior Cervical System	Crimp Two Pack - Titanium	One size only	$170.00

Orthotech Pty Ltd

OH259	Songer Cable System - 2 Crimps	Titanium	One size only	$170.00	$250.00

6.3.7.2 Hook/Grip

Biomet Australia Pty Ltd

BI255	BMP Cable System	Trochanteric Grip, Chrome Cobalt	1.6mm or 2.0mm	$545.00

Smith & Nephew Surgical Pty Ltd

SN735	Accord	Orthopaedic Cable System, Std Cable 	85-265mm	$2,000.00

Zimmer Pty Ltd

ZI708	Universal Clamp	Universal Clamp	5.5mm	$760.00	$1,850.00

6.3.8 - Staples

6.3.8.1 Small (≤11mm)

MM

Surgical Specialties

SQ044	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS 	Large wire 2.0-3.0 - Sizes 	$500.00

Staple - Biocompatible Nitonol	20x20x20, 22x25x22,

30x30x30, 12x15x12

6.3.8.2 Medium (11-20mm)

Corin Australia Pty Ltd

CR118	LARS Ligament Staple	CoCr synthetic ligament anchor	6mm, 8mm or 10mm x 20mm	$445.00

Prostheses List by Category, Groups and Sponsor	Page 661 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

6.3.8.4 Plate staple

MM, Com

Surgical Specialties

SQ047	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS 	Plate Staple - 15x6, 15x8, 15x10	$540.00

Plate Staple - Biocompatible Nitonol

6.3.9 - Soft Tissue Fixation Devices

6.3.9.1 No suture

AB

ConMed Linvatec Australia Pty Ltd

LV075	BioCuff C Screw	Self-Reinforced 96L/4D PLA Screw	6.0mm O.D x 28, 32 & 36mm L	$400.00	$480.00

6.3.9.3 Single suture, Medium anchors (2.4 – 3.9mm)

Smith & Nephew Surgical Pty Ltd

SN846	KINSA	Suture Anchor, Polmer With Polyester 	2.9mm	$600.00

Suture Material

6.3.9.4 Single suture, Small anchors (≤2.3mm)

TI

Stryker Australia Pty Ltd

SK177	Stryker Cuff Anchor	Glenoid Titanium anchor kit for soft 	Dia 2 - 3mm	$194.00

tissue reattachment

6.3.9.7 Knotless Suture, Medium anchor (2.4 – 3.9mm)

Arthrocare Australasia Pty Ltd

AF005	Magnum Arthroscopic Knotless Anchor 	Arthroscopically implanted stainless steel 	1 - 2.8mm x 8.0mm x 5.0mm;  	$690.00

Implant	suture anchor for rotator cuff or labrum 	2 - 2.8mm x 13mm x 7.2mm

6.3.9.8 Knotless Suture, Small anchor (≤2.3mm)

Arthrocare Australasia Pty Ltd

AF001	TwinLock Knotless Twin Anchors with 	All in one Dual/Twin implant anchors for 	1.8mm x 14mm with a 6.1mm 	$920.00	$940.00

Suture and Suture passer	tendon to bone healing with integrated 	cortical wing span.

suture and suture passer.

AF004	AutoCuff System	Magnum Knotless Implant - w/ inserter 	One Size Only	$730.00

Prostheses List by Category, Groups and Sponsor	Page 662 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 10: Shoulder - Humeral

Mathys Orthopaedics Pty Ltd

MA481	Affinis Fracture - Central Part	Affinis Fracture - Central Part	Part 1 - diam 15.5, Part 2 - diam	$1,550.00	$2,350.00

Stryker Australia Pty Ltd

HW216	Howmedica Modular Resection System	Distal Humerus Cone -  Vitallium	One size only	$4,580.00

HW217	Howmedica Modular Resection System	Distal Humerus Flange -  Vitallium	One size only	$4,347.00

HW218	Howmedica Modular Resection System	Humerus Connection Piece -  Vitallium	One size only	$4,122.00

HW221	Howmedica Modular Resection System	Humerus Extension Piece -  Vitallium	5, 15, 30, 45, 60, 75, 90, 105, 	$5,243.00

120, 135, 150, 165mm

HW255	Howmedica Modular Resection System	Oncology Humeral Body -  Titanium	40 - 140mm in 20mm increments	$2,827.00

Group 10a: Humeral Stem & Head

Medical & Optical Instruments Australia Pty Ltd

MO147	Acumed Shoulder Joint Prostheses 	Titanium	130 to 280mm stem,13 to 	$6,800.00

15mm body, 16 to 23mm head.

Smith & Nephew Surgical Pty Ltd

SN138	Neer 3 Total Shoulder System	Humeral stems	Head size 15 - 16, stem diam 8 -	$2,740.00

12mm

Stryker Australia Pty Ltd

ST027	Solar - Dual Offset Humeral Head	Cobalt Chrome	40-50mm diameter, 15-21mm 	$2,330.00

thickness

ST672	Osteonics Solar Shoulder Prostheses 	Humeral head polyethylene	40-55mm by 12-34mm	$1,525.00

ST673	Osteonics Solar Shoulder Prostheses	Dual offset humeral head polyethylene	40,45,50mm Diameter by 15, 	$1,356.00

18, 21mm Thickness

Synthes Australia Pty Ltd

SY432	Epoca Custom Offset Shoulder 	Epoca Head	40 - 54mm, Height: 15 - 20.25mm	$1,525.00

Cem

Tornier Pty Ltd

TO043	Aequalis Reversed Shoulder -Metaphysis	Cemented: CoCr and UMWHPE, 	D.36mm & 42mm	$2,609.00

(Cemented or Cementless)	Cementless: CoCr, HA Coated and

Prostheses List by Category, Groups and Sponsor	Page 663 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 10b: Humeral Stem

Biomet Australia Pty Ltd

BH047	Comprehensive Shoulder System	Humeral Stems, standard, mini, micro 	4mm to 20mm Diameter	$2,436.00	$3,500.00

and revision, porous coated, Ti

BI216	Bio-Modular Shoulder System	Humeral Stem, titanium	6-15mm	$3,500.00

BI880	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Proximal Body - Std to +20	$5,200.00

BI882	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Stem - 6.5 to 14.5 mm x 50 to 	$3,000.00

200 mm

BI884	Comprehensive Fracture Stem	Fracture Stem Cobalt Chrome, Titanium	4,6,8,10,12,14mm	$3,969.00

Device Technologies Australia Pty Ltd

DE168	Univers 3D Shoulder Prostheses	Stem	6-12mm	$5,880.00

DE173	Univers Fracture Prostheses	Shaft	8-13mm	$6,220.00

DE256	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis 	41 - 53mm	$3,200.00

DE258	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Cage 	Small - X-Large	$1,000.00

Dj Orthopaedics Pty Ltd

DD005	Turon Shoulder System - Humeral Stems	Turon Humeral Stem, Primary and 	6-16mm x 115mm and 6-16mm 	$2,580.00

x 200mm

DD029	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm	$2,800.00

DD032	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm	$2,875.00	Temporary approval. Review in

November 2007 cycle.

Endotec Australia Pty Ltd

EA028	Buechel-Pappas Ultracoat Total 	Humeral-Stem w / PC-Ceramic coated 	8-14mm	$3,550.00	$4,200.00

Shoulder Replacement System (Primary 	titanium

EA030	Buechel-Pappas Ultracoat Total 	Salvage Humeral Stem-ceramic coated 	8-14mm	$4,200.00

Shoulder Replacement System (Primary 	titanium

EA033	Buechel-Pappas Ultracoat Total 	Modular Humeral Stem Ceramic coated 	12mm	$5,440.00

Shoulder Replacement System (Primary 	titanium

EA034	Buechel-Pappas Ultracoat Total 	Modular Salvage Stem - Ceramic coated 	1-4	$4,000.00

Shoulder Replacement System (Primary 	titanium

EA035	Buechel-Pappas Ultracoat Total 	Stem Extension -  Ceramic coated 	8-20mm	$1,300.00

Shoulder Replacement System (Primary

Prostheses List by Category, Groups and Sponsor	Page 664 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Global Orthopaedic Technology

GO141	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm	$2,800.00

GO148	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm	$2,875.00	Temporary approval. Review in

November 2007 cycle.

Johnson & Johnson Medical Pty Ltd

DP029	Global Advantage Shoulder	Revision Stem Titanium alloy	8mm x 200mm - 14mm x 220mm	$4,965.00

DP030	Global Advantage Shoulder	Stem Standard, Titanium alloy	6mm - 16mm	$3,500.00	$4,300.00

DP956	Delta Shoulder system	Cementless Diaphysis INOX/ ST. Steel + 	Size 1-4	$3,875.00

Aluminia+HAC

DP965	Delta Shoulder system	Revision Cementless Diaphysis INOX / 	Size 1-4	$3,818.00

ST. Steel + Aluminia+HAC

JJ550	DELTA Xtend	Modular Humeral Diaphysis	10, 12, 14, 16mm	$4,000.00

JJ551	DELTA Xtend	Modular Centered Epiphysis HA coated	1 + 2	$2,436.00

JJ552	DELTA Xtend	Modular Eccentric Epiphysis	1 + 2 Left + Right	$2,482.00

JJ611	Global AP Shoulder	Humeral Stem Long	Humeral Stem Long - 8mm, 	$3,845.00

10mm, 12mm, 14mm

Lima Orthopaedics Australia Pty Ltd

LC043	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Uncemented Stem	11-24mm	$2,800.00

LC044	Lima RPS Tumor System	RPS Total Shoulder Replacement Stem	200, 240, 280mm	$6,900.00

LC048	Randelli/SMR Total Shoulder	Randelli/SMR shoulder revision cemented	200, 240, 280mm	$3,000.00

stem

Mathys Orthopaedics Pty Ltd

MA449	Affinis Total Shoulder Prosthesis	Stem - CoCr; Stem - Titanium; Glenoid - 	Cemented 6, 9, 12, and 	$3,890.00

UHMWPE	15mm;Cementless 6, 7.5, 9,

10.5, 12, 13.5 and 15mm

Smith & Nephew Surgical Pty Ltd

SM110	Promos Shoulder Replacement	Humeral Stem	01 to 6	$2,560.00

SN395	Cofield	Humeral stem component	Standard & Long, small- large	$2,740.00

SN404	Modular Cofield	Humeral Stem	6mmx115mm - 16mmx245mm	$3,070.00

Stryker Australia Pty Ltd

HW222	Howmedica Modular Resection System	Humeral Anchorage Piece -  Vitallium	9, 10, 11, 12mm	$4,393.00

Prostheses List by Category, Groups and Sponsor	Page 665 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HW256	HMRS Oncology Humeral Stem	Cobalt Chromium	7x75mm, 7x115mm, 9x75mm, 	$4,778.00

9x115mm, 11x115mm,

25mmx75mm, 25mmx100mm,

50mmx75mm,

50mmx100mm,75mmx100mm,

100mmx50mm

SK427	Solar Reunion Humeral Fracture System	Solar Reunion Humeral Fracture System	Short & Long	$6,100.00

Synthes Australia Pty Ltd

SY431	Epoca Custom Offset Shoulder 	Epoca ZF Cementless Stem	6 - 14mm, Length: 115 - 	$3,000.00

Tornier Pty Ltd

TO002	Aequalis Primary Shoulder Prostheses	Aequalis Primary stem, Ti Ta	6.5-15mm - 1mm increm wide, 	$3,600.00

66-167mm long

TO029	Aequalis Fracture Shoulder HA Coated	Fracture shoulder humeral stem Cobalt 	Diam 6.5mm - 130mm and 	$4,000.00

Chrome, HA coated	170mm lengths, Diam 9mm -

130mm, 180mm and 210mm

lengths. Diam 12mm - 130mm,

180mm and 210mm lengths

TO044	Aequalis Reversed Shoulder - Stem 	Cemented: CoCr Cementless: Ti, HA 	D. 6.5, 9 , 12, 15mm L 100, 	$4,284.00

(Cemented or Cementless)	150, 180, 210mm

TO048	Aequalis Reversed fracture-standard	Monobloc Humeral Stem CoCr and HA 	Length 130mm Dia 7 9 11 13 15	$6,800.00

Coated proxinally

Zimmer Pty Ltd

ZI326	Bigliani/Flatow Trabecular Metal 	Porous Tantulum Humeral Stem	6mm-19mm diameter	$5,169.00

Humeral Shoulder

ZI443	Select Shoulder	Stem - Ti alloy	7mm Short to 14.5mm	$3,770.00

ZI446	Intermedics Select Shoulder	Long Stem - Ti alloy	7 to 14.5mm	$3,550.00

ZI575	ANATOMICAL SHOULDER	ANATOMICAL FRACTURE STEM	7-14mm x 130mm; 7mm x 	$3,969.00

170mm; 9, 11, 13mm x 200mm.

ZI579	ANATOMICAL SHOULDER	ANATOMICAL CEMENTED HUMERAL	7 x 100mm; 9 x 110mm; 12 x 	$2,900.00

STEM	110mm; 7 x 200mm; 9 x

210mm; 14 x 210mm

ZI582	ANATOMICAL SHOULDER	ANATOMICAL PRESS-FIT HUMERAL 	7 x 100mm, 9 x 110mm, 10.5 x 	$3,500.00	$3,969.00

STEM	110mm, 12 x 110mm, 14 x

Cem

Johnson & Johnson Medical Pty Ltd

DP077	Global Advantage Shoulder	Global Advantage Stem STD or Long 	Size 8 to 14 or Length 6-16mm	$3,845.00

Prostheses List by Category, Groups and Sponsor	Page 666 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP957	Delta Shoulder system	Cemented Epiphysis INOX/ ST. Steel + 	Size 1-4 in 26-42mm	$2,436.00

Aluminia+HAC

DP966	Global FX Shoulder	Global FX Stem Chrome	6-12mm and STD and revision 	$3,969.00

160-220mm length

JJ548	DELTA Xtend	Monobloc Humeral Cemented Epiphysis 	1 + 2  8, 10, 12, 14mm	$6,800.00

Standard

JJ549	DELTA Xtend	Monobloc Humeral Cemented Epiphysis 	1 + 2  8, 10, 12, 14mm	$7,750.00

Revision

Lima Orthopaedics Australia Pty Ltd

LC042	Randelli/SMR Total Shoulder	Randelli SMR shoulder cemented stem	8, 10, 12, 14, 16mm	$2,900.00

Zimmer Pty Ltd

ZI289	Bigliani Shoulder System	Cobalt Chrome	Lengths 130 - 200mm, 	$3,026.00

Thickness 6 - 16mm

Cemented

Exactech Australia

EX051	Equinoxe Humeral Long Stem	The long/revision stem is intended for 	8x175mm, 8x215mm, 	$4,284.00

cemented fixation only. The long/revision 	10x200mm, 12x200mm

stem is advised when the distal bone

quality is insufficient to adequately anchor

the primary stems (typically as a result

of mid-humeral fractures)

EX055	Equinoxe Humeral Stem, Fracture	The fracture stem is intended for 	Fracture: left: 7mm - 12mm, 	$4,000.00

cemented fixation only and is advised for 	right 7mm- 12mm Long stem

3 & 4 part fractures of the proximal 	fracture: left 7mm, 200mm right

7mm,200mm

EX059	Equinoxe Humeral Stem, primary 	The cemented primary humeral stem is 	1.5mm o/s, 4.5mm o/s  & 6mm 	$2,436.00

including replicator plate	intended for cemented fixation only. The 	- 17mm

press-fit are intended for press-fit

applications but may be used with bone

cement if deemed appropriate by the

Smith & Nephew Surgical Pty Ltd

SM169	PROMOS Modular Shoulder System	PROMOS Modular Shoulder System 	8x80mm, 8x120mm, 10x80mm,	$2,560.00

Cemented Humeral Stem	 10x120mm, 12x80mm,

12x120mm, 14x80mm,

8x60mm, 10x160mm, 12x160mm

Prostheses List by Category, Groups and Sponsor	Page 667 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Com

Synthes Australia Pty Ltd

SY430	Epoca Custom Offset Shoulder 	Epoca Stem	6 - 14mm, Length: 115 - 	$3,000.00

Group 10c: Bipolar Humeral Head

Biomet Australia Pty Ltd

BI209	Bi-Angular Shoulder System	Bi Polar Head, Chrome Cobalt	Std to +4mm	$1,300.00

Stryker Australia Pty Ltd

ST676	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral inner head, cobalt 	22mm with 0, +2 and +4mm 	$1,835.00

chromium	neck lengths

ST877	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral  outer head, cobalt 	22mm with 0, +2 and +4mm 	$1,835.00

chromium	neck lengths

Zimmer Pty Ltd

ZI444	BiPolar Head	Humeral Head used with Select Shoulder 	26/42 to 26/60	$1,401.00

Humeral Stem - CoCr alloy/ PE

Group 10d: Bipolar Humeral Liner

Exactech Australia

EX048	Equinoxe Humeral Liner including 	The Equinoxe Reverse Shoulder System 	Liner: 38mm+0, 38mm+2.5, 	$815.00

Humeral Adapter Tray	includes a reverse semi-constrained 	42mm+0, 42mm+2.5

prosthesis for use in total-shoulder joint 	Constrained Humeral Liner:

replacement procedures in cases with an 	38mm+0, 38mm+2.5, 42mm+0,

irreparable or nonfunctional rotator cuff.	 42mm+2.5 Tray: +0, +5, +10

Group 10e: Bipolar Humeral Shell

Biomet Australia Pty Ltd

BI208	Bi-Angular Shoulder System	Bi Polar Shell, Titanium/ 	Size 40-60mm	$1,660.00

UHMWPE/Chrome Cobalt

BI214	Bio-Modular Shoulder System	Bi Polar shell/ Titanium, chrome Cobalt	40-60mm	$1,660.00

Prostheses List by Category, Groups and Sponsor	Page 668 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 10f: Standard Humeral Head

Biomet Australia Pty Ltd

BH048	Comprehensive Shoulder - Versa-Dial 	Versadial humeral head and adaptor	(38 to 58)mm x(19 to 37)mm 	$1,825.00

x(39 to 61)mm

BI215	Bio-Modular Shoulder System	Humeral Head, Chrome Cobalt	40-54mm	$1,400.00

BI218	Bio-Modular Shoulder System	Modular Head, Chrome Cobalt	Std, +2, +4mm	$1,310.00

BI222	Bio-Modular Shoulder System	Shoulder Offset Head, Chrome Cobalt	40-54mm	$2,330.00

BI835	Bio-Modular Shoulder System	Extended Articular Surface Humeral 	40 - 54mm	$1,950.00

Head, CrCo

Device Technologies Australia Pty Ltd

DE171	Univers 3D Shoulder Prostheses	Metal Head	40/14 - 54/23	$1,130.00

DE174	Univers Fracture Prostheses	Metal head	43/15 - 51/22	$1,519.00

DE257	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Head	41/16 - 53/20	$1,525.00

Dj Orthopaedics Pty Ltd

DD003	Turon Shoulder System - Humeral Head	Turon Standard Humeral Head, Standard 	38-54mm x 14-26mm	$1,500.00

and Offset

DD030	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm	$2,800.00

Endotec Australia Pty Ltd

EA029	Buechel-Pappas Ultracoat Total 	Humeral Head-Ceramic coated titanium	44mm-52mm	$2,200.00

Shoulder Replacement System (Primary

Exactech Australia

EX058	Equinoxe Humeral Head	The humeral head is used in hemi-	38mm - 53mm	$1,327.00

shoulder and total-shoulder joint

replacement procedures and for use in

fractures of the proximal humerus and

for use in total-shoulder joint replacement

procedures in conjunction with an

irreparable or nonfunctional rotator cuff.

Multiple head heights for each diameter

provides surgeon flexibility in patients

with soft tissue challenges

Global Orthopaedic Technology

GO142	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm	$2,800.00

Prostheses List by Category, Groups and Sponsor	Page 669 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP020	Global Advantage Shoulder	Eccentric Head, Cobalt chrome alloy	44- 56mm x 18, 21mm	$1,825.00

DP081	Global Shoulder	Global Advantage HUM HD 	Size 15 - 21	$1,525.00

DP962	Delta Shoulder system	DELTA Humeral Head INOX / ST.Steel / 	36 - 42 mm in +0-+4	$1,200.00

Nichtrostender St.

JJ613	Global AP Shoulder	Humeral Head	Humeral Heads - 40x15, 40x18, 	$1,525.00

44x15, 44x18, 44x21, 48x15,

48x18, 48x21, 52x15, 52x18,

52x21, 56x18, 56x21

JJ614	Global AP Shoulder	Humeral Head-Eccentric	Humeral Heads - 40x15, 40x18, 	$1,825.00

44x15, 44x18, 44x21, 48x15,

48x18, 48x21, 52x15, 52x18,

52x21, 56x18, 56x21

Lima Orthopaedics Australia Pty Ltd

LC045	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Head	42, 44, 46, 48, 50, 52, 54mm	$2,330.00

LC046	Lima RPS Tumor System	RPS Humeral Head	46, 52, 58mm	$3,680.00

Mathys Orthopaedics Pty Ltd

MA448	Affinis Total Shoulder Prosthesis	Head - CoCr; Stem - Titanium; Glenoid - 	Diameter 39, 41, 43, 45, 47, 49,	$1,525.00

UHMWPE	 51, 53mm

MA479	Affinis Fracture - Stem	Affinis Fracture Stem	6/125, 9/125, 12/125, 12/125, 	$2,575.00	$3,200.00

9/200, 12/200

MA480	Affinis Fracture - Head	Affinis Fracture Head	42, 45, 48	$1,525.00	$2,200.00

Smith & Nephew Surgical Pty Ltd

SM113	Promos Shoulder Replacement	Ball head anatomic	R19/H14-R26/H21	$2,750.00

SN403	Modular Cofield	Humeral Head	14x36mm - 36x58mm	$1,500.00

SN669	Standard Humeral Components	Modular Shoulder System Humeral Head, 	11.25 - 25mm Height, 40 - 	$1,080.00

Chromium Cobalt	49.5mm Diameter

Stryker Australia Pty Ltd

HW214	Howmedica Modular Resection System	Humeral Head Fixed -  Vitallium	One size only	$3,388.00

HW254	HMRS Oncology Humeral Head/Cap	Cobalt Chromium	40, 44mm, Cap	$4,260.00

Tornier Pty Ltd

TO003	Aequalis Primary Shoulder Prostheses	Aequalis Primary Eccentric Humeral 	Diameter: 	$1,327.00

Head, CoCr	37,39,41,43,46,48,50,52mm

Prostheses List by Category, Groups and Sponsor	Page 670 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI300	Bigliani Shoulder System	Bigliani-Flatow Shoulder - Heads (Cobalt 	40, 46, 52, 52mm diameters	$843.00

chrome)

ZI441	Select Shoulder	Humeral Head Eccentric - CoCr alloy	44/19 to 56/32 	$1,747.00

ZI445	Intermedics Select Shoulder	UniPolar Head  -metal alloy	40 x 16mm to 56 x 32mm	$1,148.00

ZI562	ANATOMICAL SHOULDER	ANATOMICAL REMOVABLE HEAD 	D40 H14; D42 H15; D44 H16; 	$2,330.00	$2,875.00

D46 H16; D48 H17; D50 H18;

D52 H19; D48 H20; D50 H21;

D52 H23.

ZI565	ANATOMICAL SHOULDER	ANATOMICAL FRACTURE HUMERAL 	40mm Left & Right; 44mm Left	$2,330.00	$2,875.00

HEAD 	 & Right; 48mm Left and Right.

EL

Johnson & Johnson Medical Pty Ltd

DY129	Global Advantage CTA Head	44 x 18 - 56 x 23	$5,495.00

JJ554	DELTA Xtend	Delta Xtend CTA Head Extended Lip	48 + 52; 21, 26mm	$5,520.00

JJ788	Global AP CTA Humeral Head	CTA Humeral Head	Sizes 44-56mm	$5,495.00

Group 10g: Resurfacing Humeral Head

Biomet Australia Pty Ltd

BI343	Copeland Shoulder System	Humeral, Chrome Cobalt	Small, Std, Large (no specific 	$2,330.00

BI345	Copeland Shoulder System	Humeral Component, Chrome Cobalt	Small, Std, Large (no specific 	$3,200.00

Endotec Australia Pty Ltd

EA027	Buechel-Pappas Ultracoat Total 	Humeral Resurfacing Component-	44mm-56mm	$4,800.00

Shoulder Replacement System (Primary 	Ceramic coated Titanium

Johnson & Johnson Medical Pty Ltd

JJ787	Global CAP Resurfacing Humeral Head 	Global CAP Conservative Anatomical 	40-56mm Diameter	$4,800.00

Implant	Prosthesis (Shoulder Humeral Head

Surface Replacement)

LMT Surgical Pty Ltd

LM078	Ascension HRA - Humeral Resurfacing 	A anatomic semi constrained, monobody 	40mm x 16mm to 56mm 	$3,200.00

Arthroplasty	device intended for resurfacing of the

humeral head.

Prostheses List by Category, Groups and Sponsor	Page 671 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SM170	PROMOS Modular Shoulder System	PROMOS Modular Shoulder System 	38-54mm	$1,525.00	$1,930.00

Resurfacing Humeral Head

Synthes Australia Pty Ltd

SY438	Epoca Resurfacing Head	The humeral head surface replacement is 	Diameter 40 - 54mm	$1,525.00	$3,000.00

designed to replace the humeral

articulating surface and is chrome cobalt

with hydroxyapatite coating underneath

Tornier Pty Ltd

TO031	Aequalis Resurfacing Shoulder	Resurfacing humeral head	12 head sizes from 37mm x 	$3,400.00

13.5mm to 54mm x 27mm, 3

stem lengths: 30, 35 and 40mm

EL

Johnson & Johnson Medical Pty Ltd

JJ805	Global CAP CTA	Global CAP CTA Head	40 - 56 x 15 - 21mm	$4,035.00

Group 10h: Humeral cup

Biomet Australia Pty Ltd

BH054	Comprehensive Shoulder - reverse 	Reverse Humeral tray, Ti	Std, +5, +10	$2,096.00	$2,436.00

humeral tray

BH055	Comprehensive shoulder - reverse 	Reverse shoulder humeral bearing, highly 	(Standard or Retentive) x (std, 	$815.00

humeral cup	cross linked UHMWPE	+3) x (31 to 41)mm

Johnson & Johnson Medical Pty Ltd

DP958	Delta Shoulder system	Humeral Cup Laterilised Polyethylene	36 - 42mm in +0 to 	$815.00

+9/STD/LAT/STD Retentive

JJ553	DELTA Xtend	High Mobility Humeral PE Cup	38 + 42;  3, 6, 9mm	$1,280.00

JJ559	DELTA Xtend	Standard Humeral PE Cup	38 + 42;  3, 6, 9mm	$815.00

JJ560	DELTA Xtend	Retentive Humeral PE Cup	38 + 42; 6mm	$815.00

Lima Orthopaedics Australia Pty Ltd

LC041	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Body with 	One size only	$2,580.00

Locking Screw

Smith & Nephew Surgical Pty Ltd

SN888	PROMOS Reverse Modular Shoulder 	PE Insert - UHMWPE	36/6mm, 36/9mm, 36/12mm, 	$800.00

System	42/6mm, 42/9mm, 42/12mm

Prostheses List by Category, Groups and Sponsor	Page 672 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN893	Promos Reverse Modular Shoulder 	Body	36/mm, 36/10mm, 36/15mm, 	$1,800.00

42/5, 42/10mm, 42/15mm

Tornier Pty Ltd

TO045	Aequalis Reversed Shoulder - Lateralized	UMWHPE	D. 36mm +6mm, D.36mm 	$873.00

Insert	+9mm, D.36mm +12mm,

D.42mm +6mm, D. 42mm

Zimmer Pty Ltd

ZI580	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE 	Zero degree Retro; Zero degree 	$2,940.00	$3,340.00

HUMERAL CUP	Retro +6; +10 degree Retro; –10

degree Retro; +20 degree Retro;

-20 degree Retro;9mm 0 degree

Retro; 9mm 0 degree Retro +6.

EL

Tornier Pty Ltd

TO040	Aequalis Reversed Shoulder Eccentric 	Eccentric Humeral Insert (High Mobility 	36mm and 42mm, 2mm 	$1,280.00

humeral Insert (High Mobility Cup)	Cup) for Aequalis Reversed Shoulder	eccentric +6mm and +9mm,

4mm eccentric +9mm and

Group 11: Shoulder – Glenoid

Group 11a: Glenoid Component

Biomet Australia Pty Ltd

BH049	Comprehensive shoulder - glenoid	Modular hybrid glenoid base UHMWPE; 	small, medium, large	$1,670.00	$2,215.00

Titanium

BH050	Comprehensive Shoulder - Glenoid Stem	Glenoid Post, Ti Regenerex or 	1 size	$276.00	$2,770.00

BI342	Copeland Shoulder System	Glenoid, UHMWPE	One size only	$1,965.00

Device Technologies Australia Pty Ltd

DE169	Univers 3D Shoulder Prostheses	Glenoid Metal Back	Small, Medium, Large	$1,419.00

Dj Orthopaedics Pty Ltd

DD004	Turon Shoulder System - All-Poly 	Turon - All-Poly Glenoid, Keeled and 	38mm, 42mm, 46mm, 50mm, 	$1,419.00

54mm

DD031	Foundation Shoulder System	Pegged & Keeled Glenoid, compression 	38mm to 54mm	$1,875.00

moulded UHMWPE

DD033	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large	$2,875.00	Temporary approval. Review in

November 2007 cycle.

Prostheses List by Category, Groups and Sponsor	Page 673 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DD034	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm	$2,875.00	Temporary approval. Review in

November 2007 cycle.

DD035	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm	$1,903.00	Temporary approval. Review in

November 2007 cycle.

DD036	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset	$2,940.00	Temporary approval. Review in

November 2007 cycle.

Endotec Australia Pty Ltd

EA025	Buechel-Pappas Ultracoat Total 	Glenoid Fixation Cup - Ceramic coated 	44mm-52mm	$2,100.00

Shoulder Replacement System (Primary 	titanium

EA031	Buechel-Pappas Ultracoat Total 	All-Poly Glenoid	2-4	$1,950.00

Shoulder Replacement System (Primary

Exactech Australia

EX060	Equinoxe Glenoid, keeled	UHMWPE component used to replace the	small, medium, large	$930.00

Glenoid during total shoulder

arthroplasty. This component is to be

used with the Equinoxe total shoulder

EX061	Equinoxe Glenoid, pegged	UHMWPE component used to replace the	small, medium, large	$930.00

Glenoid during total shoulder

arthroplasty. This component is to be

used with the Equinoxe total shoulder

Global Orthopaedic Technology

GO143	Foundation Shoulder System	Pegged & Keeled Glenoid, compression 	38mm to 54mm	$1,875.00

moulded UHMWPE

GO149	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large	$2,875.00	Temporary approval. Review in

November 2007 cycle.

GO150	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm	$2,875.00	Temporary approval. Review in

November 2007 cycle.

GO151	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm	$1,903.00	Temporary approval. Review in

November 2007 cycle.

GO152	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset	$2,940.00	Temporary approval. Review in

November 2007 cycle.

Johnson & Johnson Medical Pty Ltd

DP086	Global Shoulder 	Global FIN/ Peg  Glenoid	Size 40-56	$2,215.00

DP899	S-Fit Metal Glenoid	S-FIT M/B Glenoid 	Size 40-52	$2,920.00

DY360	Global Advantage Shoulder	Anchor Peg Glenoid	40 to 56 mm	$2,770.00

Prostheses List by Category, Groups and Sponsor	Page 674 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ637	Global Advantage Shoulder – Cross 	Cross Linked Polyethylene Glenoid 	40 to 56 mm including XL	$2,770.00	$3,000.00

Linked Anchor Peg Glenoid

Lima Orthopaedics Australia Pty Ltd

LC008	Randelli/SMR Shoulder System	Cemented Glenoid	Mini, Small, Standard	$1,990.00

Mathys Orthopaedics Pty Ltd

MA450	Affinis Total Shoulder Prosthesis	Glenoid - CoCr; Stem - Titanium; Glenoid	Size 1 to 4 Cemented	$2,200.00

- UHMWPE

Smith & Nephew Surgical Pty Ltd

SM114	Promos Shoulder Replacement	Glenoid	1-23: - 4-29	$1,300.00

SN397	Cofield 	Glenoid All Polyethylene component	Small, Standard	$1,650.00

SN398	Cofield 	Glenoid Component Metal backed	Standard Base. Base Insert.  	$2,220.00

Glenoid Comp Sm, Stan, St

SN400	Modular Cofield	+ 2 insert	Small, Standard, Standard with 	$1,620.00

offset

SN409	Modular Cofield	Standard Articular Insert	Small, Standard	$470.00

SN676	Genoid Components	Anatomic Glenoid Component, Ti-6A1-	Extra Small & Standard	$2,220.00

4V, UHMWPE

Stryker Australia Pty Ltd

ST674	Osteonics Solar Shoulder Prostheses 	Humeral stem polyethylene	3,5,7,9,11	$3,845.00

ST675	Osteonics Solar Shoulder Prostheses 	Glenoid component polyethylene	5,7,9,11	$2,365.00

Synthes Australia Pty Ltd

SY434	Epoca Custom Offset Shoulder 	Epoca Glenoid	40mm - 54mm	$1,600.00

SY435	Epoca Custom Offset Shoulder 	Epoca Glenoid Screw	8-30mm	$250.00

Tornier Pty Ltd

TO004	Aequalis Primary Shoulder Prostheses	UHMWPE Keeled Glenoid Component	31mm,35mm,39mm dia (small, 	$1,670.00

medium & large)

TO015	Aequalis Pegged Glenoid USA	Pegged Glenoid Polyethylene (UHMWPE)	Small, Medium, Large, Extra 	$1,995.00

Zimmer Pty Ltd

ZI304	Bigliani Shoulder System	Bigliani-Flatow shoulder - Glenoid 	40, 46 and 52mm diameters	$2,320.00

(UHMWPE)

ZI440	Anatomical	Glenoid - PE	S, M, L	$1,459.00

ZI442	Select Shoulder	Glenoid - PE	S, M, L, XL 	$920.00

ZI581	ANATOMICAL SHOULDER	ANATOMICAL PEGGED GLENOID	Small, Medium and Large	$1,990.00

Prostheses List by Category, Groups and Sponsor	Page 675 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 11b: Glenoid Component & Insert

Biomet Australia Pty Ltd

BI217	Bio-Modular Shoulder System	Glenoid Component, Cemented, 	Small, Medium, Large x 4 or 7mm	$1,731.00

Titanium/UHMWPE

Device Technologies Australia Pty Ltd

DE172	Univers 3D Shoulder Prostheses	Cemented glenoid	Small, Medium, Large	$930.00

Lima Orthopaedics Australia Pty Ltd

LC038	Randelli/SMR Shoulder System	Uncemented Glenoid	Mini, Small, Standard	$2,220.00

LC039	Randelli/SMR Shoulder System	Uncemented Glenoid Liner	Mini, Small, Standard	$1,960.00

Group 11c: Glenoid Insert

Biomet Australia Pty Ltd

BI219	Bio-Modular Shoulder System	Glenoid Liner Noncemented, UHMWPE	Low Profile	$1,020.00

Device Technologies Australia Pty Ltd

DE170	Univers 3D Shoulder Prostheses	Glenoid PE-Inlay	Small, Medium, Large	$920.00

Endotec Australia Pty Ltd

EA026	Buechel-Pappas Ultracoat Total 	Glenoid Bearing - Polyethelene	2 to 4	$950.00

Shoulder Replacement System (Primary

Johnson & Johnson Medical Pty Ltd

DP898	S-Fit Metal Glenoid	S-FIT Glenoid Bearing 	Size 40-52	$1,040.00

Synthes Australia Pty Ltd

SY437	Epoca Custom Offset Shoulder 	Epoca Glenoid Insert	42 - 54mm	$1,200.00

Group 11d: Reverse Glenoid Component

Biomet Australia Pty Ltd

BH051	Comprehensive Shoulder - Reverse 	Reverse glenosphere	(31mm to 41)mm x (standard, 	$1,500.00	$2,375.00

Glenosphere	+3, +6)

BH052	Comprehensive Shoulder - Reverse 	Reverse glenoid baseplate, Ti, Porous 	one size	$2,096.00

Glenoid Baseplate

Prostheses List by Category, Groups and Sponsor	Page 676 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Exactech Australia

EX049	Equinoxe Glenoid Plate	The glenoid plate provides multiple 	one size	$2,100.00

options for screw insertion

EX050	Equinoxe Glenosphere	The glenosphere aids in glenosphere 	38mm, 42mm	$1,500.00

insertion and protects any remaining

Johnson & Johnson Medical Pty Ltd

DP952	Delta Shoulder system	Centror Glenoid INOX / ST.Steel / 	Size 36-40 /42	$2,290.00

Nichtrostender St.

JJ555	DELTA Xtend	Eccentric Glenosphere	38 + 42	$2,375.00

JJ556	DELTA Xtend	Standard Glenosphere	38 + 42	$2,290.00

Smith & Nephew Surgical Pty Ltd

SN889	Promos Modular Shoulder system	Glenoid Base Plate with Ti/HA-Ti 6A i4V	5-20mm, 1-5, Small, Medium, 	$2,100.00

Large

SN891	Promos Reverse Modular Shoulder 	Glenosphere	centric 36mm, centric 42mm, 	$1,200.00

eccentric 36/+5mm, eccentric

42/+5mm

SN892	Promos Reverse Modular Shoulder 	Glenoid Base Plate	5-20mm  1-5  Small Medium 	$2,100.00

Tornier Pty Ltd

TO037	Aequalis Reversed Shoulder - Revision 	Long pegged base plate/ metaglene for 	One Size: Long Peg	$2,508.00

Base Plate (Metaglene)	revision reversed shoulder.

TO038	Aequalis Reversed Shoulder Eccentric 	Eccentric Glenoid Sphere for Aequalis 	36mm and 42mm, eccentricity 	$2,375.00

Glenosphere	Reversed Shoulder	+2mm, 4mm or 6mm.

TO039	Aequalis Reversed Shoulder Wear 	Wear Compensation Glenoid Sphere for 	36mm and 42mm, wear 	$2,508.00

Compensation Glenosphere	Aequalis Reversed shoulder.	compensation 5 degrees or 10

degrees, combination wear

compensation 5 degrees or 10

degrees and eccentricity +2mm,

4mm or 6mm.

TO041	Aequalis Reversed Shoulder -Glenoid 	Ti HA Coated	One Size	$2,245.00

Base Plate

TO042	Aequalis Reversed Shoulder -Glenoid 	CoCr, Ti Alloy	D.36mm & 42mm	$2,453.00

Sphere

Prostheses List by Category, Groups and Sponsor	Page 677 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI529	Zimmer Trabecular Metal Reverse 	Polyethylene Liner	Standard 7 Deg. & Retentive 65 	$1,100.00

Shoulder System	Deg; 36mm - Neutral, Plus

3mm, Plus 6mm; 40mm -

Neutral, Plus 3mm, Plus 6mm

ZI533	Zimmer Trabecular Metal Reverse 	Trabecular Metal Reverse Base Plate - Ti 	One Size Only	$2,100.00	$3,500.00

Shoulder System	Alloy & Tantalum

ZI564	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE 	36mm; 40mm	$2,300.00

GLENOID HEAD

ZI577	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE 	36mm x 0, 3 & 6mm; 40mm x 	$1,960.00

HUMERAL POLY INLAY	0, 3 & 6mm.

ZI578	ANATOMICAL SHOULDER	ANATOMICAL INVERSE/REVERSE 	One size only.	$2,875.00

GLENOID FIXATION

Group11e: Other

Stryker Australia Pty Ltd

HW200	Howmedica Modular Resection System	Plug Screw Axis -  Vitallium	One size only	$217.00

HW202	Howmedica Modular Resection System	Wedge -  Vitallium	One size only	$211.00

HW203	Howmedica Modular Resection System	Bearing -  Vitallium	One size only	$178.00

HW219	Howmedica Modular Resection System	Humerus Connecting Screw -  Vitallium	One size only	$653.00

HW220	Howmedica Modular Resection System	Humerus Hex Socket Bolt -  Vitallium	One size only	$565.00

Synthes Australia Pty Ltd

SY436	Epoca Custom Offset Shoulder 	Epoca Reco Glenoid	42 - 52mm	$3,300.00

Tornier Pty Ltd

TO049	Aequalis Reversed Fracture Shoulder - 	Monobloc Humeral Stem CoCr and HA 	Length 170, 180 or 210mm Dia 	$7,750.00

Revision	coated proximally	7 9 11 13mm

Zimmer Pty Ltd

ZI319	Bigliani Flatow Total Shoulder System - 	Trabecular Metal Backed Glenoid 	Diameter 40 - 52mm	$4,088.00

Glenoids	(uncemented)

ZI528	Zimmer Trabecular Metal Reverse 	Trabecular Metal Humeral Stem Titanium 	12mm x 130mm; 12mm x 	$3,799.00	$5,000.00

Shoulder System	Alloy and Tantalum	170mm; 14mm x 130mm

Prostheses List by Category, Groups and Sponsor	Page 678 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 13: Shoulder Accessories

Group 13a Shoulder Accessories - Humeral Sleeve

Endotec Australia Pty Ltd

EA032	Buechel-Pappas Ultracoat Total 	Humeral Head Extension - Ceramic 	2.5 -10mm	$800.00

Shoulder Replacement System (Primary 	coated titanium

Lima Orthopaedics Australia Pty Ltd

LC037	Randelli/SMR Total Shoulder	Randelli/SMR Eccentrical Adapter	0 - 6mm	$1,000.00

LC040	Randelli/SMR Total Shoulder	Randelli/SMR Neutral Taper	0 - 6mm	$950.00

Group 13b: Shoulder Accessories - Humeral Spacer

Johnson & Johnson Medical Pty Ltd

DP964	Delta Shoulder system	Humeral Spacer INOX / ST.Steel / 	Dia 36/42 + 9	$1,420.00

Nichtrostender St.

JJ561	DELTA Xtend	Humeral Spacer	9mm	$1,420.00

Lima Orthopaedics Australia Pty Ltd

LC036	Lima RPS Tumor System	RPS Additional Spacer	40, 60, 90, 120mm	$1,900.00

Smith & Nephew Surgical Pty Ltd

SM111	Promos Shoulder Replacement	Body	30 - 35 - 40mm	$2,500.00

Tornier Pty Ltd

TO011	Aequalis Shoulder Prostheses Reverse	CoCr Reverse Humeral Neck	diameter 36 & 42mm wide x 	$1,827.00

9mm high

Zimmer Pty Ltd

ZI530	Zimmer Trabecular Metal Reverse 	Spacer	9mm, 12mm Taper Insert	$1,420.00

Shoulder System

ZI531	Zimmer Trabecular Metal Reverse 	Dual Taper Insert	One Size Only	$1,000.00

Shoulder System

Group 13c: Shoulder Accessories - Other

Biomet Australia Pty Ltd

BI220	Bio-Modular Shoulder System	Glenoid Screw	5mm x (15-40mm)	$145.00

Prostheses List by Category, Groups and Sponsor	Page 679 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Dj Orthopaedics Pty Ltd

DD002	Turon Shoulder System - Humeral Neck	Turon - Humeral Neck	Neutral and 7.5 Degree	$1,050.00

Johnson & Johnson Medical Pty Ltd

DP954	Delta Shoulder system	Metaglene Screw Stainless Steel	3.5mm and 4.5mm	$213.00

JJ557	DELTA Xtend	Non Locking Metaglene Screw Dia 4.5	4.5mm; 18, 24, 30, 36, 42	$215.00

JJ558	DELTA Xtend	Locking Metaglene Screw Dia 4.5	4.5mm; 24, 30, 36, 42, 48	$276.00

JJ615	Global AP Shoulder	Fixed 135 Degree taper Assembly	135 Degree Angle	$1,118.00

JJ616	Global AP Shoulder	Ball Taper Adjustable Neck Assembly	N/A	$1,050.00

Smith & Nephew Surgical Pty Ltd

SM112	Promos Shoulder Replacement	Inclination Set	20 - 22 - 24 - 26mm	$1,220.00

Synthes Australia Pty Ltd

SY433	Epoca Custom Offset Shoulder 	Epoca Eccenter	One size only	$540.00	$600.00

Tornier Pty Ltd

TO006	Bone Plug	UHMWPE - Cement Plug	24mm	$215.00

Zimmer Pty Ltd

ZI534	Zimmer Trabecular Metal Reverse 	Inverse/Reverse Screw 4.5mm	18mm, 24mm, 27mm, 30mm, 	$145.00

Shoulder System	33mm, 36mm, 42mm, 48mm

Group 14: Intramedullary Nails

Group 14a: Femoral

Biomet Australia Pty Ltd

BI921	EBI Paediatric Locking Nail System	Femoral Locking Nail - titanium;	28 -42cm x 5.5 - 6.5mm	$1,000.00

Johnson & Johnson Medical Pty Ltd

DP571	Art Retrograde Nail	Femoral Nail Titanium Unsterile or Sterile	9 -12mm x 30 - 50cm	$1,740.00

DP900	Albizza Nail	Albizza Nail - Stainless Steel	240-320mm Length	$10,692.00

DP929	Supacondylar Nail System	Supracondylar Titanium Nail Sterile or 	10 to 12 mm x 15-30cm	$1,210.00

Unsterile

DY326	Ace Trochanteric Nail	Trochanteric Nails Sterile in Standard or 	125 - 130 deg, 9 - 11mm, 320 - 	$1,735.00

Left or Right	420mm, sterile and non-sterile

Smith & Nephew Surgical Pty Ltd

SN521	TriGen 	Nail: TAN & FAN, titanium	10, 11.5 &13mm diameter	$750.00

Prostheses List by Category, Groups and Sponsor	Page 680 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

SK337	Stryker Trauma Locking Nail System	Arthrodesis Nail - Knee	Arthrodesis Nail Left/Right; 	$5,182.00

11.5mm and 13mm

Zimmer Pty Ltd

ZI715	Zimmer Natural Nail System	Cephalomedullary, Femoral Long Nails, 	10mm to 14.5mm (in 1.5mm 	$995.00	$1,425.00

Titanium	increments) x 30 to 48cm (in

2cm increments) x 125 & 130

CCD Left and Right.

ZI721	Zimmer Natural Nail System	Retrograde Femoral Nail - Titanium	10mm to 13mm (in 1.5mm 	$995.00	$1,595.00

increments) x 20, 24, 28, 30,

32, 34, 36, 38, 40, 42, 44cm

ZI722	Zimmer Natural Nail System	Antegrade Femoral Nails, Greater 	8 to 14mm x 24 to 48cm (in 	$995.00	$1,095.00

Trochanter, Titanium	2cm increments) Left and Right

ZI723	Zimmer Natural Nail System	Cephalomedullary, Short Nails, Titanium	10mm to 14.5mm (in 1.5mm 	$995.00

increments) x 21.5cm 125 to

135 CCD (in 5 CCD increments)

Left and Right.

D

Stryker Australia Pty Ltd

SK202	Stryker Trauma Locking Nail System	SCN	Diameter 11m - 14mm, Length 	$990.00

170mm - 240mm

E

LMA PacMed Pty Ltd

PM116	ISKD Internal Limb Lengthening 	Titanium Alloy	Diameter 12.5 - 14.5mm	$16,500.00

Synthes Australia Pty Ltd

SY041	AO/ASIF Intramedullary Nails	Femoral Nail	7.0mm-19mm dia 200-600mm 	$935.00

length

SY262	AO/ASIF Intramedullary Nails	Femoral Nail	9-15mm dia / 120-150 deg / 170	$2,060.00

- 500mm Length

SY264	AO/ASIF Intramedullary Nails	Distal Femoral Nail - DFN	9-15mm / 160-420mm Length	$1,082.00

P

B Braun Australia Pty Ltd

BB051	BRAUN AUST Intramedullary Nails	Compression Nail	100mmx10.5mm-	$1,600.00

Johnson & Johnson Medical Pty Ltd

DP343	Femoral Nail System	Femoral Nail Titanium Sterile or Unsterile	8 -15mm x 30- 240mm	$1,740.00

Prostheses List by Category, Groups and Sponsor	Page 681 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ672	VersaNail IM Nailing Platform	Troch Entry and Universal Femoral Nails,	9-13mm x 28-48CM	$2,060.00

Titanium, Locking, cannulated.

Smith & Nephew Surgical Pty Ltd

SN509	Russel Taylor	Intramedullary Hip Screw Nail (IMHS) 	Standard 10-16mm 21 cm 	$650.00

Stainless Steel	length, Long 10-12mm Diameter

Right& Left 34-42cm Length

SN763	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 16mm x 19.5cm left and 	$760.00

SN764	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 14mm x 32 - 44cm left and	$830.00

right

SN838	Trigen InterTAN Nail	Nail, Titanium	diameter 10-13mmlength 18-	$1,350.00

46cmAngle 125°-135°

Stryker Australia Pty Ltd

SK214	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Nail Left/Right	$1,200.00

SK244	Stryker Intramedullary Hip Screw	Gamma3 Long	120, 125, 130 Deg; Diameter 	$1,350.00

10-13mm; Length 280-420mm

SK246	Gamma LN	Standard - Titanium	120, 125, 130 Deg; Diameter 	$995.00

10-12mm; Length 170-200mm

Synthes Australia Pty Ltd

SY270	AO/ASIFIntramedullary Nails	Antegrade/Retrograde Femoral Nail	Diameter 6.5-18mm, Length 30-	$1,030.00

500mm

Zimmer Pty Ltd

ZI320	ITST Intramedullary Nails	Stainless Steel Intertrochanteric Nailing 	Diameter 10 - 14mm; Length 18	$665.00

System	 - 50cm

P, D

Austofix

AX024	Austofix Femoral & Tibial Nailing System	F2 Femoral Nail 4.8/6.2; s-s	Dia 9 - 12mm; Lengths 320 - 	$1,475.00

460mm

Group 14b: Tibial

Smith & Nephew Surgical Pty Ltd

SN522	TriGen 	Knee Nail	8.8, 10, 11.5 & 13mm 	$1,050.00

diameters, 26-50cm lengths

SN841	Trigen META	Metaphyseal Nail, Titanium	8.5-13mm15x50cm	$1,250.00

Prostheses List by Category, Groups and Sponsor	Page 682 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI522	SIRUS Nail	Sirus Tibial Nail	8, 9, 10mm diam x 240 to 	$1,050.00

420mm in 14mm increments

ZI719	Zimmer Natural Nail System	Tibial Nails - Titanium	8.3mm; 9.3mm; 10mm; 11mm; 	$910.00	$1,295.00

12mm; 14mm x 24 to 44cm in

2cm increments

E

Synthes Australia Pty Ltd

SY060	AO/ASIF Intermedullary Nails	Cannulated and Solid Tibial Nail	7.0mm-19mm dia 200-600mm 	$910.00

length

SY128	AO/ASIF Intramedullary Nails	Tibial unreamed - steel	8 - 9 mm , length 255 - 420mm	$1,009.00

P

Johnson & Johnson Medical Pty Ltd

DP330	Tibial Nail System 	Tibial Nail or Dynamic Tibial Nail 	8-13mm x 25.5-42.5cm	$1,405.00

Titanium Unsterile or Sterile

JJ674	VersaNail IM Nailing Platform	Tibial Nails, Titanium, Locking, 	8-13mm x 25 - 50cm	$1,350.00

P, D

Austofix

AX022	Austofix Femoral & Tibial Nailing System	Tibial Nail 4.0/4.8; s-s	Dia 8 - 11mm, Lengths 260 - 	$1,009.00

420mm

Group 14c: Humeral

Johnson & Johnson Medical Pty Ltd

DP367	Humeral Nail System	Humeral Nail Titanium Sterile or Unsterile	20 – 30 cm	$1,032.00

Smith & Nephew Surgical Pty Ltd

SN740	Trigen	Humeral Nail	7-11cm x 16-30cm	$660.00

Zimmer Pty Ltd

ZI716	Zimmer Natural Nail System	Antegrade Humeral Nail - Titanium	7, 8, 9 & 10mm x 15, 18, 19.5, 	$660.00	$1,925.00

21, 22.5, 24, 25.5, 27, 28.5 &

30cm. Left & Right.

ZI717	Zimmer Natural Nail System	Cancellous Screws Titanium - Partially 	6.0mm x 50 to 145mm at 5mm 	$94.00

Threaded & Fixed Angle	increments

Prostheses List by Category, Groups and Sponsor	Page 683 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

E

Lima Orthopaedics Australia Pty Ltd

LC047	Lima Humeral Nail	Stainless steel	Dia 7 - 8mm, length 200 - 300mm	$1,990.00

Synthes Australia Pty Ltd

SY129	AO/ASIF Intramedullary Nails	Humeral Nail	6.0 - 12.0 mm length 100 - 	$865.00

P

B Braun Australia Pty Ltd

BB107	BRAUN AUST Intramedullary Nails	Nail for small bones	Dia 3mm-8mm	$1,617.00	$3,200.00

Medical & Optical Instruments Australia Pty Ltd

MO154	Polarus Proximal Humeral Fixation 	Polarus Proximal Humeral Rod 	150 - 300mm length	$1,925.00

Standard/Plus Titanium

Stryker Australia Pty Ltd

SK006	Stryker Trauma Locking Nail System	Titanium - Humeral Nail	Dia 7,8,9mm length 140 - 320mm	$2,195.00

SK199	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Nail Left/Right	$2,158.00

P, D

Austofix

AX013	Proximal Humeral Nail	Stainless Steel	Diameter 8 mm, Length 170 mm	$1,075.00

Device Technologies Australia Pty Ltd

DE096	Fixion IM nail - Humeral	Stainless steel	Dia 6.7 - 8.5mm (reduced), 	$1,990.00

length 180 - 280mm

Johnson & Johnson Medical Pty Ltd

JJ673	VersaNail IM Nailing Platform	Humeral Nails, Universal and Proximal, 	7-10 mm x 150-280mm	$2,195.00

Titanium, Locking, cannulated

Proximal

Tornier Pty Ltd

TO050	Aequalis Humeral Nail	Intermedullary Humeral Nail, straight, 	Right/Left	$660.00	$2,195.00

cannulated, Ti

Group 14d: Other

Austofix

AX009	Austofix Intramedullary Nail	Custom Nails, stainless steel	5-13mm	$1,350.00

Prostheses List by Category, Groups and Sponsor	Page 684 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biomet Australia Pty Ltd

BH044	Biomet Phoenix Nail Arthrodesis Nailing 	Ankle Arthrodesis Locking Nail, Titanium	9 - 12mm diameter x 150 - 	$1,700.00	$2,000.00

System - Nail	 Alloy	420mm length

BI252	SST Small Bone Locking Nail	Fibula Nail, titanium	(3.5, 4.5mm) x 150mm	$1,333.00

Johnson & Johnson Medical Pty Ltd

DP528	Nancy Nail System	Pediatric Flexible Nail	2.5 or 3.0 mm x 190 -290mm	$431.00

DP529	Nancy Nail System	Pediatric Flexible Nail	3.5 mm x  270-350mm	$475.00

DP531	Nancy Nail System	Pediatric Flexible Nail	4.0 mm x  330-450mm	$475.00

DP572	Nancy Nail System 	Pediatric Flexible Nail	2.0 mm x 130 - 190mm	$414.00

DY380	Versa Nail	TTC Fusion Nail Sterile	10mm x 15cm up to 12mm x 	$1,245.00

DY381	Versa Nail	TTC Fusion Nail Unsterile	10mm x 15cm up to 12mm x 	$1,110.00

JJ639	Small Bone Fixation System - Small 	Intramedullary Nail	1.6mm and 1.1mm	$700.00	$950.00

Bone Flexible Nail

JJ641	Small Bone Fixation System - Small 	Intramedullary Nail Fixation System Kit	1.6mm and 1.1mm	$700.00	$1,250.00

Bone Fixation System Kit

Lifehealthcare Pty Ltd

LH326	Metaflex	Low compression screw	Diameter: 1.2, 1.4, 1.6, 2.0 - 	$390.00	Temporary approval pending

2.5mm, Length: 10mm - 30mm	review of product group in Feb

LH368	Fassier-Duval Telescopic IM System 	The Fassier-Duval Telescopic IM System	The system is composed of a 	$3,300.00

Component: Female	 is an endomedular nail designed for 	total of 108 rods in 9 different

patients suffering from Osteogenesis 	diameters per type.  The nail is

Imperfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy

Congenital Tibial Pseudoarthrosis, Limb 	(Ti6A14V ASTM-136) and

lengthening over nail, Segmental Tumor 	medical grade stainless steel

removal and other bone defo	(316L, ASTM 138).  It is

available in five diameters:

Link Orthopaedics  Australia

LO100	LINK Arthrodesis Pin	Cobalt Chromium	90mm	$6,300.00

Medical & Optical Instruments Australia Pty Ltd

MO159	Polarus Humeral Rod System	Polarus Ulna Rod Titanium	210 to 270mm length	$1,460.00

MO161	Polarus Humeral Rod System	Polarus Radius Rod Titanium	190 to 230mm length	$1,460.00

Smith & Nephew Surgical Pty Ltd

SN496	Intramedullary Nailing System	Foresight Nail	4-5mm Diameter 20-26cm 	$660.00

SN497	Intramedullary Nailing System	Knee Fussion Nail, Stainless Steel	11x 65-75 & 12 x 65-85cm	$4,400.00

Prostheses List by Category, Groups and Sponsor	Page 685 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN772	Trigen	Hindfoot Fusion Nail, Titanium	10 - 11.5mm Diameter	$1,195.00

Stryker Australia Pty Ltd

HW257	Wichita Fusion Nail System	Femoral Component -  Vitallium	18mm	$2,690.00

HW258	Wichita Fusion Nail System	Tibial Component -  Vitallium	12mm	$1,695.00

HW354	Metaizeau Nail	Stainless Steel	2-4mm x 400-500mm	$160.00

SK465	Stryker Intermedullay Nailing System	T2 Retrograde/Antegrade/Compression 	7-15mmDiameter, 140 to 	$1,625.00

480mm lengths

Surgical House

SU201	Panta Arthrodesis Nail	Ankle Nail, Titanium	Diameter 10 -13 mm Length - 	$1,000.00

150-240 mm

Synthes Australia Pty Ltd

SY263	AO/ASIF Intramedullary Nails	Hip Pin	30-200mm Length	$391.00

SY416	AO/ASIF Intramedullary Nails ASLS	Intramedullary Angular Stable Locking 	4-6mm, 26-125mm	$655.00

System

Wright Medical Australia

WR029	Micronail intramedullary radial fixation	Titanium, Distal radial nail	1, 2, 3, 4 and XL	$1,620.00

D

Medical & Optical Instruments Australia Pty Ltd

MO280	Acumed Fibula Rod System	Intramedullary Nail, fibula lower limb 	3.00mm & 3.6mm diameter left 	$1,050.00	$1,575.00

and right specific rods with

lengths of 110mm, 145mm,

Stryker Australia Pty Ltd

SK450	T2 Ankle Arthrodesis Nail	T2 Ankle Arthrodesis Type II Anodized 	10, 11, 12mm Diameters & 	$1,700.00

Titanium Alloy (Ti6A14V)	150,200 & 300mm Lengths

E

Lifehealthcare Pty Ltd

LH367	Fassier-Duval Telescopic IM System 	The Fassier-Dual Telescopic IM System 	The syste is composed fo a total	$3,300.00

Component: Male	is an endomedular nail designed for 	 of 108 rods in 9 different

patients suffering from Osteogenesis 	diameters per type.  The nail is

Impecfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy

Congenital Tibial Pseudoarthosis, Limb 	(Ti6A14V ASTM-136) and

lengthening over nail, Segmental Tumor 	medical grade Stainless Steel

removal and other bone deform	(315L, ASTM 138).  It is

available in five diameters: 3.2,

Prostheses List by Category, Groups and Sponsor	Page 686 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY064	Titanium Elastic Nail	1.5mm - 4.0mm	$220.00

P

Austofix

AX026	Austofix Femoral & Tibial Nailing System	F2 Hip Nail 4.8/6.5; high nitrogen s-s	Dia 11mm, Length 170mm - 	$760.00

240mm

Synthes Australia Pty Ltd

SY124	AO/ASIF Intramedullary Nails	Proximal sleeve	Standard 130 deg antigrade, 	$361.00

spiral blade

TI

Link Orthopaedics  Australia

LO101	LINK Arthrodesis Pin	Tilastan	90mm	$7,300.00

Group 15: Intramedullary Nail Accessories

Group 15a: Screws

Biomet Australia Pty Ltd

BH046	Biomet Phoenix Ankle Nailing System - 	Double lead screw - Ti-6Al-4V Standard 	5mm Dia x (20 to 110)mm length	$184.00	$250.00

5mm Double-lead thread screw	or osseotite finish

BI249	SST Small Bone Locking Nail	Screw, Distal Fixator, Titanium	One size only	$115.00

BI250	SST Small Bone Locking Nail	Set Screw w/holder, Titanium	One size only	$115.00

BI287	Uniflex Tibial Nail	Tibial Nail Transverse Screw, Titanium	4.0, 5.0mm x (20-70mm)	$184.00

BI922	EBI Paediatric Locking Nail System	Screw Pilot Double Thread - titanium;	20 - 68mm x 4.0mm	$140.00

Johnson & Johnson Medical Pty Ltd

DP901	Albizza Nail	Albizza Nail Cotter Screw	3.5 or 4.5 0r 5.5 mm 25-75 mm	$95.00

length

DY323	Ace Trochanteric Nail	Trochanteric Lag Screw Sterile	60 to 120mm	$256.00

DY324	Ace Trochanteric Nail	Trochanteric Anti Rotation Screw Sterile	60 to 100mm	$96.00

JJ707	ATN Trochanteric Nail System	Titanium anti-rotational screw for 	40 - 150mm	$187.00

Trochanteric nail

JJ708	ATN Trochanteric Nail System	Titanium lag screw for Trochanteric nail	40-150mm	$465.00

Medical & Optical Instruments Australia Pty Ltd

MO156	Polarus Proximal Humeral Fixation 	Polarus Screws Cancellous/Cortical 	12.5 to 60mm length	$220.00

Prostheses List by Category, Groups and Sponsor	Page 687 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN519	TriGen	Capture Reconstruction Screws Titanium	6.4mm diameter 65-125mm 	$219.00

SN520	TriGen	Captured Screws Titanium	4.5 & 5.0mm diameters, 20-	$120.00

110mm lengths

SN739	Trigen	Self Tapping Cortical Screw	20mm - 60mm	$95.00

SN762	IMHS CP	Captured locking screw	4.5mm x 22mm to 4.5mm x 	$95.00

SN774	IMHS CP	Captured Compression Screw, Stainless 	19mm	$93.00

SN775	IMHS CP	Set Screw, Stainless Steel	Standard	$65.00

Stryker Australia Pty Ltd

HW274	Alta Modular Trauma System - 	Cortical Screw/Screw Nut Assembly - 	5mm	$280.00

Titanium

SK203	Stryker Trauma Locking Nail System	SCN	Condyle Screws 5mm x 	$324.00

(40mm-120mm)

SK204	Stryker Trauma Locking Nail System	SCN	Nut for Condyle Screws 5mm	$232.00

SK215	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Lag Screw	$260.00

SK216	Stryker Trauma Locking Nail System	Reconstruction Nail	Blocking Screw	$95.00

SK228	Omega Plus Compression Hip Screw 	Cephalic Implants	Hansson Twin Hook 50-140mm	$195.00

SK230	Hansson Pin	Cephalic Implants	Hansson Pin 70-140mm	$335.00

SK243	Gamma LN	Lag Screw - Titanium	10.5mmx70mm - 	$465.00

SK245	Gamma LN	Locking Screw - Titanium	5x25mm - 5x95mm	$155.00

SK247	Gamma LN	Set Screw - Titanium	8x17.5mm	$95.00

SK490	U-Blade	U-Blade Lag Screw Set	All Gamma 3 U-Blade's are 	$655.00

10.5mm in diameter, ranging

from 70-130mm in 5mm

ST043	Stryker Trauma Locking Nail System: 	Titanium	20-120mm	$140.00

Locking Screw with & without shaft

Surgical House

SU202	Panta Arthrodesis Nail	Locking Screw, Titanium	Diameter 5 mmLength - 20 - 	$79.00

110 mm

Synthes Australia Pty Ltd

SY127	AO/ASIF Intramedullary Nails	Shaft screw	5.0mm , length 70 - 125mm	$157.00

SY131	AO/ASIF Intramedullary Nails	Locking bolts - steel	3.9 - 4.9mm , length 18 - 	$87.00

Prostheses List by Category, Groups and Sponsor	Page 688 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY132	AO/ASIF Intramedullary Nails	Locking bolts	3.0mm-6.0mm Dia 10-150mm 	$121.00

Length

SY265	AO/ASIF Intramedullary Nails	Locking Screws	15 -150mm	$124.00

Wright Medical Australia

WR031	Micronail intramedullary radial fixation	2.7mm Titanium Screw	10mm - 20mm	$220.00

WR032	Micronail Intramedullary Radial Fixation	2.5mm ti buttress screw	16 - 28mm	$250.00

Zimmer Pty Ltd

ZI322	ITST Intramedullary Nailing System - 	Stainless Steel Intertrochanteric Nailing 	Diameter 11mm: Length 70mm -	$205.00

Lag screw	System	 120mm

ZI524	SIRUS Nail	Sirus Locking Screws	3.9, 4.9mm x 24 to 100mm	$138.00

ZI525	SIRUS Nail	Sirus Cervical Screws	6.5mm diam x 60 to 140mm in 	$219.00

5mm increments

ZI713	Zimmer Natural Nail System	Lag Screws, Titanium	10.5mm x 70 to 130mm in 5mm	$196.00	$425.00

increments

ZI714	Zimmer Natural Nail System	Cortical Screws (Partially Threaded) 	4.0mm & 530mm x 20mm to 	$94.00

60mm (2.5mm increments);

4.0mm & 5.0mm x 65 to 100

mm (5mm increments)

ZI718	Zimmer Natural Nail System	Cortical Screws - Fixed Angle (Fully 	4.0mm & 5.0mm x 20 to 60mm	$94.00

Threaded) Titanium	 (2.5mm increments); 4.0mm &

5.0mm x 65 to 100mm (5mm

increments)

Group 15b: Caps

Austofix

AX029	Austofix Femoral & Tibial Nailing System	End Cap; I.M. Nails; s-s	8 - 13mm	$123.00

Biomet Australia Pty Ltd

BH045	Biomet Phoenix Arthrodesis Nailing 	Offset end cap, Titanium	0mm - 20mm	$79.00	$225.00

System - End Cap

BI251	SST Small Bone Locking Nail	Nail End Cap, titanium	low profile, one size only	$218.00

BI923	EBI Paediatric Locking Nail System	Nail end cap, titanium	5.5mm - 6.5mm	$150.00

Johnson & Johnson Medical Pty Ltd

DP331	Tibial Nail System 	End Cap Titanium 	One size only	$65.00

DP339	Femoral Nail	End Cap Titanium 	One size only	$45.00

Prostheses List by Category, Groups and Sponsor	Page 689 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP371	Humeral Nail System	End Cap Various Titanium Unsterile or 	One size only	$65.00

DY325	Ace Trochanteric Nail	Trochanteric End Cap Sterile	5 to 25mm	$161.00

DY382	Versa Nail	TTC Nail Cap Unsterile Impinging and 	One Size	$45.00	$99.00

Non Impinging

DY383	Versa Nail	TTC Nail Cap Sterile Impinging and Non 	One Size	$45.00	$150.00

Impinging

JJ675	VersaNail IM Nailing Platform	End caps for VersaNail IM Nail Platform	Flush, impinging & 5-15mm	$150.00

Medical & Optical Instruments Australia Pty Ltd

MO200	Polarus Proximal Humeral Fixation 	End cap, titanium	Only size only	$45.00	$180.00

Smith & Nephew Surgical Pty Ltd

SN498	Intramedullary Nailing System	Nail Cap	One size only	$79.00

Stryker Australia Pty Ltd

SK201	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Proximal Humerous Washer 	$52.00

round/square

SK229	Omega Plus Compression Hip Screw 	Cephalic Implants	Hansson Twin Hook 	$63.00

Compression Screw 25mm

SK248	Gamma LN	Proximal/Extension Plug - Titanium	0mm, +5mm, +10mm	$95.00

SK491	U-Blade End Cap	U-Blade Lag Screw End Cap	One size 9mm x 10.5mm 	$250.00

ST035	Stryker Trauma Locking Nail System: 	Titanium	One size only	$165.00

Compression Screw

ST045	Stryker Trauma Locking Nail System: 	Titanium	Standard, +5, +10, +15	$95.00

End Cap

Surgical House

SU203	Panta Arthrodesis Nail	End Cap, Titanium	One Size	$45.00

Synthes Australia Pty Ltd

SY125	AO/ASIF Intramedullary Nails	End cap	0 - 40mm	$207.00

Zimmer Pty Ltd

ZI321	Intramedullary Nail Caps	Stainless Steel Intertrochanteric Nailing 	Diameter 0 - 20mm	$110.00

System

ZI526	SIRUS Nail	Sirus End Cap	5-25mm length in 5mm 	$200.00

ZI709	Zimmer Natural Nail System	Cortical Nuts and Washers	Cortical Nut for the 6mm 	$79.00	$94.00

Cancellous Screw

Prostheses List by Category, Groups and Sponsor	Page 690 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI710	Zimmer Natural Nail System	Cephalomedullary Nail Caps - Titanium 	Height: 0mm, 5mm, 10mm & 	$79.00	$94.00

(Neutral, Sliding & Locking)	15mm

ZI711	Zimmer Natural Nail System	Femoral Nail Caps (Titanium)	Height: 0mm, 5mm, 10mm & 	$79.00	$94.00

15mm

ZI712	Zimmer Natural Nail System	Humeral Nail Caps (Titanium) Antegrade 	Height: 0mm, 5mm, 10mm & 	$79.00	$94.00

& Retrograde	15mm (Antegrade), 0mm, 5mm,

10mm (Retrograde)

ZI720	Zimmer Natural Nail System	Tibial Nail Caps (Titanium)	Height: 0mm, 5mm, 10mm & 	$79.00	$94.00

15mm

Group 16: Plates

LMT Surgical Pty Ltd

LM002	TriMed Fixation System	Plates, Stainless Steel	Various sizes	$915.00	$950.00

Group 16a: Standard ≥4.5mm

Device Technologies Australia Pty Ltd

DE055	Osteotomy Plates	Osteotomy, Tibial -  Stainless Steel	5mm - 17.5mm	$820.00

DE078	Osteotomy Plates	Osteotomy, Femoral - Stainless Steel	7.5mm - 17.5 mm	$1,193.00

DE094	Osteotomy Plates	Anterior/posterior sloped.  Stainless steel	5 - 15mm length	$1,098.00

DE216	Arthrex Osteotomy Plates	Tibial, Composition Titanium	0-17.5mm	$1,300.00

DE217	Arthrex Osteotomy Plates	Femoral, Titanium	5mm - 17.5mm	$1,480.00

Johnson & Johnson Medical Pty Ltd

DP608	Small / Large  Fragment Set	Straight Plate Titanium	3-12 Hole	$366.00

DP612	Small / Large  Fragment Set	Active Compression Plate Titanium	3.5mm  5 to 10 Hole	$193.00

DP678	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm with 2 - 12 	$98.00

JJ709	ALPS - Anatomic Locked Plating 	3.5MM Titanium 100° Tubular Plate	1-4 holes	$300.00

Orthotech Pty Ltd

OH370	Otis Plate	Left & Right plate	1 size	$550.00	$1,050.00

Smith & Nephew Surgical Pty Ltd

SN063	TC 100 2.7mm Small Fragment 	2 - 12 holes	20 - 100mm	$120.00

(Compression) plates

Prostheses List by Category, Groups and Sponsor	Page 691 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN071	TC 100 4.5mm Narrow Compression 	Sterile, 2 - 4 holes	39 - 71mm	$79.00

SN078	TC 100 4.5mm Broad Compression 	Sterile, 20 - 26 holes	326 - 423mm	$320.00

SN108	TC 100	Plate: Broad Compression	4.5mm, 3 - 10 holes	$165.00

SN119	TC 100 4.5mm T-plate	Sterile, 3 - 4 holes	68 - 84mm	$147.00

SN131	TC 100 4.5mm Narrow Compression 	Sterile, 14 - 24 holes	231 - 390mm	$225.00

SN132	TC 100 4.5mm Narrow Compression 	Sterile, 11 - 13 holes	183 - 215mm	$180.00

SN133	TC 100 4.5mm Narrow Compression 	Sterile, 8 - 10 holes	135 - 167mm	$102.00

SN135	TC 100 95 Degree Condylar Plates	Small stature	Shaft length 92 - 299 mm, blade	$360.00

length 50 - 80mm

SN137	TC 100	Plate: Broad Compression	4.5mm, 6 - 8 holes	$138.00

SN543	TC 100 Plate	Pelvic Fragment Plates	3-18 hole, 45-190mm	$160.00

SN557	TC 100 Plate	4.5mm Broad Compression Plate	14-18 hole	$270.00

Stryker Australia Pty Ltd

HW305	Dall Miles Cable Grip System - Stainless	Stainless Steel Plate:5 hole -  Stainless 	6 inches	$640.00

Steel

HW306	Dall Miles Cable Grip System - Stainless	Stainless Steel Plate:7 hole -  Stainless 	8 inches	$804.00

Steel

HW307	Dall Miles Cable Grip System - Stainless	Stainless Steel Plate:9 hole -  Stainless 	10 inches	$819.00

Steel

HW308	Dall Miles Cable Grip System - Stainless	Stainless Steel Plate:11 hole -  Stainless 	12 inches	$866.00

Steel

SK088	Stryker Plating System Basic Fragment 	Waisted Compression Plate Broad	15-26 Holes	$325.00

ST036	Stryker Plating System Small & Basic 	Oblique T Plate or T Plate, Stainless Steel	42-86mm Length	$304.00

Fragment - T Plate	 or Titanium, Oblique

ST039	Stryker Plating System Small & Basic 	Stainless Steel or Titanium, Left or Right	3-20 Holes, 67-339mm Plate 	$231.00

Fragment - L Plate	Length

ST041	Stryker Plating System Basic Fragment 	Waisted Compression Plate Broad	6-14 holes	$316.00

Surgical House

SU178	Newdeal Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To 	2-4 hole plates	$740.00

be used only with Newdeal screws/lock

SU179	Newdeal Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To 	5 - 9 hole plates	$975.00

be used only with Newdeal screws/lock

Prostheses List by Category, Groups and Sponsor	Page 692 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY019	AO/ASIF Plates	Steel, left & right,  T & L plates	3-12 hole	$389.00

SY033	AO/ASIF Plates 	Semi tubular	2 - 28 hole	$165.00

SY034	AO/ASIF Plates 	Broad DCP	2-28 hole	$378.00

SY035	AO/ASIF Plates	 4.5mm broad,  DCP/LCDCP	2-28 hole	$484.00

SY117	AO/ASIF Plates	T & L plate  - left & right	 ≥4.5mm diameter	$572.00

SY172	LCP Plate	Straight Plate, Sterile/Non Sterile	Dia 3.5 - 5.0mm, length 2-20 	$229.00

Zimmer Pty Ltd

ZI132	NexGen Knee High Tibial Osteotomy 	Plate - Ti	1 - 10	$632.00

System

ZI220	Zimmer Plates	Cloverleaf plates	88 - 104mm	$227.00

ZI222	Zimmer Plates	Epiphysis plates	2 - 6 Hole	$113.00

ZI223	Zimmer Plates	1/4 Tubular Plate	3  - 8 Hole	$264.00

ZI224	Zimmer Plates	Standard DC Plate	2 - 12 Hole	$243.00

ZI225	Zimmer Plates	Broad Plates	5 - 14 Hole	$449.00

AB

Arthrocare Australasia Pty Ltd

AF012	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5mm plates:- 20 holes, c-plate 	$310.00

Polylactic Acid Trimethylene Carbonate 	& x-plate 7 hole, L-plate 7 hole

Copolymer	L & R. burrhole

AF016	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Plates 6 & 8 hole	$433.00

copolymer

Com

LMT Surgical Pty Ltd

LM064	TriMed Ulnar Osteotomy System	Stainless Steel Ulnar Osteotomy Plate	5 - 9 holes	$900.00

LM072	Trimed Hook Plate	stainless steel 4 and 6 hole plates	4 and 6 holes/right and left	$740.00	$800.00

LM074	Elix (plate)	Anatomically shaped plate with PEEK 	4 Hole, right and left plate.	$1,010.00	$1,500.00

LM088	NewClip Variable Angle Periarticular 	Stainless steel and titanium plates	size 1 to 8	$1,500.00

Fixation Plates

Stryker Australia Pty Ltd

SK055	Matta Pelvic System	Straight acetabular plate	10-14 Holes	$368.00

SK057	Matta Pelvic System	Straight acetabular plate	15-20 Holes	$160.00

Prostheses List by Category, Groups and Sponsor	Page 693 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK064	Skryker Plating  System	Matta Pelvic Plates	Curved, Straight and Symphysis	$800.00

Pubis 2 - 30 hole

SK067	Matta Pelvic System	Curved Pelvic Plate Radius 108	4-9 Holes	$53.00

SK069	Matta Pelvic System	Curved Pelvic Plate Radius 108	10-14 Holes	$32.00

SK070	Matta Pelvic System	Curved Pelvic Plate Radius 108	15-20 Holes	$800.00

SK071	Matta Pelvic System	Curved Pelvic Plate Radius 88	4-9 Holes	$61.00

SK073	Matta Pelvic System	Curved Pelvic Plate Radius 88	10-14 Holes	$800.00

SK074	Matta Pelvic System	Curved Pelvic Plate Radius 88	15-20 Holes	$800.00

SK075	Stryker Plating System Basic Fragment 	4.5mm Reconstruction Plate	3-9 Holes	$780.00

SK077	Stryker Plating System Basic Fragment 	4.5mm Reconstruction Plate	10-16 Holes	$780.00

SK094	Stryker Plating System Small Fragment 	Calcaneal Plate	70-80mm	$605.00

SK449	Stryker Plating System	Locking Compression Anatomical Shape	2 Hole to 22 Hole	$1,450.00

Surgical House

SU177	Newdeal Reinforced Bendable 	Composition - 316L Stainless Steel.  To 	2 holes, 4 holes/77mm, 4 	$810.00

Osteosynthesis Plates	be used only with Newdeal Screws/lock 	holes/112mm

SU180	Newdeal Distal Humeral Plates	Composition - 316L Stainless Steel.  To 	Left and right	$890.00

be used only with Newdeal screws/lock

SU181	Newdeal Femoral Osteosynthesis Plates	Composition - 316L Stainless Steel.  To 	8/9/10 hole, left and right	$1,400.00

be used only with Newdeal screws/lock

SU182	Newdeal Distal Femoral Varus 	Composition - 316L Stainless Steel. To be	One size only	$1,150.00

Osteotomy Plate	 used only with Newdeal screws/lock

SU184	Newdeal Proximal Humeral Plate	Composition - 316L Stainless Steel. To be	'6 - 8 holes'	$948.00

used only with Newdeal screws/lock

SU185	Newdeal HTO Plates	Composition - 316L Stainless Steel. To be	Opening wedge HTO plates, left 	$900.00

used only with Newdeal screws/lock 	and right. Closing wedge HTO

plates, left and right. Reinforced

closing wedge HTO plates, left

and right

Synthes Australia Pty Ltd

SY020	AO/ASIF Plates	Spoon plate	5-12 hole	$415.00

SY024	AO/ASIF Plates 	Cobra head	8-11 hole	$572.00

SY040	AO/ASIF Plates	Osteotomy plate - adult 	4 Hole /blade 40 - 110mm / 90-	$854.00

130 deg

Prostheses List by Category, Groups and Sponsor	Page 694 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY100	AO/ASIF Plates	4.5mm Hook Plate	3-12 hole	$530.00

SY101	AO/ASIF Plates	Osteotomy Plate - Adult / LC angle blade 	4 hole, 5-6 hole/30-40mm blade 	$453.00

/ cannulated angle blade	length/ 90 - 100 deg, 10- 20 mm

displacement

SY116	AO/ASIF Plates	4.5mm recon plate	2-28 hole	$840.00

Zimmer Pty Ltd

ZI230	ZPS	4.5mm Straight Recon Plate	6 Hole	$880.00

Group 16b: Small – 2.71 – 4.49mm

Device Technologies Australia Pty Ltd

DE215	Arthrex Osteotomy Plates	Metatarsal	2mm - 8mm	$550.00

DE298	Tightrope Syndesmosis Buttress Plate	For Syndesmosis and Fracture Repair	Universal one size only	$550.00	$1,200.00

LMT Surgical Pty Ltd

LM057	Ascension Radial Head Locking Plate 	Titanium pre-formed anatomical radial 	small and large	$1,310.00

and Screws	head plate

Smith & Nephew Surgical Pty Ltd

SN001	TC 100 Quarter Tubular plates (2.7mm 	Sterile	23 - 63mm	$42.00

cortex screws)

SN011	TC 100 3.5mm Small Fragment 	Sterile, 14 - 26 hole	169 - 265mm	$294.00

(Compression) plates

SN012	TC 100 3.5mm One Third Tubular 	Sterile, 2 - 8 holes	25 - 97mm	$42.00

SN104	TC 100	1/3 Tubular Plate with Collar	3 - 10 Hole	$46.00

SN118	TC 100 3.5mm Small Fragment 	Sterile, 8 - 12 hole	97 - 145mm	$123.00

(Compression) plates

SN130	TC 100 3.5mm One Third Tubular 	Sterile, 9 - 12 holes	109 - 145mm	$58.00

SN136	TC 100 Small T-Plates	Sterile, right angled and oblique	3 - 4 holes in head, 3 - 6 holes in	$102.00

shaft

SN731	Accord	Orthopaedic Cable System, Sm Cable 	75-255mm	$1,400.00

Stryker Australia Pty Ltd

SK081	Stryker Plating System Small Fragment 	Waisted compression plate	2-10 Holes	$220.00

SK082	Stryker Plating System Small Fragment 	Waisted compression plate	11-20 Holes	$220.00

SK083	Stryker Plating System Small Fragment 	Standard compression plate	2-9 Holes	$166.00

Prostheses List by Category, Groups and Sponsor	Page 695 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK084	Stryker Plating System Small Fragment 	Standard compression plate	10-20 Holes	$220.00

SK099	Stryker Plating System Small Fragment 	One Third Tubular Plate with Collar	9-14 Holes	$175.00

SK100	Stryker Plating System	Small Fragment Plates	T-Plates 2 - 10 hole	$165.00

SK110	Stryker Plating System	Compression Plates	2 - 22 Holes	$152.00

ST008	Stryker Plating System Small & Basic 	Narrow or Broad	2-20 holes, 26-260mm plate 	$310.00

Fragment - Compression Plate

ST017	Stryker Plating System Small & Basic 	Stainless Steel or Titanium	50-60mm	$380.00

Fragment - Calcaneal Plate

ST025	Stryker Plating System Small Fragment 	Stainless Steel	4-9 Holes	$497.00

ST037	Stryker Plating System SmallFragment 	One Third Tubular Plate with Collar	2-8 Holes	$113.00

Synthes Australia Pty Ltd

SY018	AO/ASIF Plates	Reconstruction Plate	2 - 24hole	$740.00

SY114	AO/ASIF Plates	3.5mm  - 5.0mm Straight DCP/LCDCP	2-28 hole	$231.00

SY115	AO/ASIF Plates	3.5mm, T- PLATE - right & oblique 	2-8 hole	$294.00

SY161	LCP Plate	1/3 Tubular Plate	Dia 3.5mm, length 2-16 hole	$175.00

Zimmer Pty Ltd

ZI211	Zimmer Plates	ZPS SC 1/3 Tubular Plate - Forearm	3 - 8 Hole	$46.00

ZI212	Zimmer Plates	ZPS Semi Tubular Small Narrow Plate	3 - 8 Hole	$113.00

ZI216	Zimmer Plates	SCP Forearm plate	4 - 12 Hole	$113.00

ZI217	Zimmer Plates	T Buttress Plates	4 - 6 Hole	$355.00

ZI218	Zimmer Plates	Spoon Plates	5 - 6 Hole	$243.00

ZI219	Zimmer Plates	T-Plates	68 - 147mm	$248.00

ZI541	Zimmer Universal Locking System	3.5mm Universal Locking System 	3 hole 40mm; 4 hole 53mm; 5 	$470.00

Reconstruction Plates, Straight-Sterile-	hole 79mm; 7 hole 92mm; 8

Sterile & Non Sterile	hole 105mm; 9 hole 118mm; 10

hole 131mm; 11 hole 144mm;

12 hole 157mm

ZI542	Zimmer Universal Locking System	3.5mm Locking Dual Compression Plate 	4 hole 53mm; 5 hole 66; 6 hole 	$229.00	$240.00

Sterile and Non Sterile	79mm; 7 hole 92mm; 8 hole

105mm; 9 hole 118mm; 10 hole

131mm; 11 hole 144mm; 12

hole 157mm; 14 hole 183mm

Prostheses List by Category, Groups and Sponsor	Page 696 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI543	Zimmer Universal Locking System	3.5mm Locking T Plate Sterile and Non-	3 hole head 5 hole shaft 73mm 	$260.00

Sterile	length; 4 hole head 6 hole shaft

85mm length; 3 hole head 3 hole

shaft left 51mm length; 3 hole

head 4 hole shaft left 63mm

length; 3 hole head 3 hole shaft

right 51mm length; 3 hole head

4 hole shaft right 63mm length.

ZI544	Zimmer Universal Locking System	3.5mm Locking One-Third Tubular Plate 	5 hole 68mm; 6 hole 81mm; 7 	$175.00	$190.00

- Sterile and non-sterile	hole 94mm; 8 hole 107mm; 10

hole 133mm

ZI545	Zimmer Universal Locking system	3.5 mm Optional Locking Reconstructive 	13 hole; 14 hole; 15 hole; 16 	$550.00

Plate- Sterile and Non-Sterile	hole; 18 hole; 20 hole; 22 hole

ZI546	Zimmer Universal Locking System	3.5mm Optional Locking dual 	16 hole; 20 hole	$229.00	$350.00

Compression Plate - Sterile and Non-

ZI547	Zimmer Universal Locking System	3.5mm  Optical Locking-Third Tubular 	3 hole; 4 hole; 12 hole; 14 hole	$175.00	$210.00

Plate-Sterile & Non Sterile

Com

Johnson & Johnson Medical Pty Ltd

JJ710	ALPS - Anatomic Locked Plating 	3.5MM Titanium LOCKING 	5-10 hole plates	$500.00

COMPRESSION PLATE

Orthotech Pty Ltd

OH339	Fyxis plate	Foot plate	40-55mm	$720.00

Smith & Nephew Surgical Pty Ltd

SN044	TC 100 3.5mm Small Fragment 	Sterile, 2 - 7 holes	25mm - 85mm	$81.00

(Compression) Plates

Stryker Australia Pty Ltd

SK098	Stryker Plating System Small Fragment 	Stainless steel, reconstruction plate	10-22 Holes	$551.00

SK102	Stryker Plating System Small Fragment 	Cloverleaf Plate	6-10 Holes	$330.00

ST051	Stryker Plating System Small Fragment 	Cloverleaf Plate	3-5 Holes	$340.00

Surgical House

SU169	Hallu-Fix Plates	Composition - titanium, Hallu-C Plate: left	Hallu-C Plate left and right 	$654.00

and right, Hallu-S Plate: left and right	40,45,50mm; Hallu-S Plate right

50,55mm, left 60mm

Prostheses List by Category, Groups and Sponsor	Page 697 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SU183	Newdeal Femoral Varus and De-rotation	Composition - 316L Stainless Steel.  To 	Newdeal Femoral Varus and De-	$962.00

Osteotomy Plates	be used only with Newdeal screws/lock 	rotation Osteotomy Plates - 3

holes, Newdeal Femoral Varus

and De-rotation Osteotomy

Plates - 4 holes, Newdeal

Reinforced Femoral Newdeal

and De-rotation Osteotomy

SU193	Basal Osteotomy Plate	Titanium	5 Deg, Left and Right, 10Deg, 	$460.00

Left and Right

SU194	Calcanea, Calcaneal Fracture Plate	Titanium	Small, Medium, Large	$1,275.00

SU207	B-BOP Plantar Basal Osteotomy Plate 	Titanium	Moderate Correction(5°) Left, 	$460.00

(Sterile)	Right. Severe Correction (10°)

Left, Right

Synthes Australia Pty Ltd

SY102	AO/ASIF Plates	Osteotomy plate - adolescent	90 deg, blade 40 - 60mm, displ 	$278.00

10 - 15mm

SY103	AO/ASIF Plates	Osteotomy plate - infant	Child, toddler & infant, 115 deg 	$302.00

bifurcated, blade 25 - 45mm, 80

- 100 deg, 4 - 8mm offset, displ

7 - 12mm, height 49- 54mm

SY106	AO/ASIF Plates - Steel	Angled blade plate	3 - 26 hole,  length 25 - 110mm,	$1,082.00

90 - 130 degree

SY351	AO/ASIF Plates	Calcaneal Plating System	3.5mm, 30-100mm length	$1,050.00

Group 16c: Mini - ≤2.7mm

Aus Systems Pty Ltd

AU001	Aus Systems Titanium Miniplates (Bone 	2hole x 2hole Strip Plate Stiff	1.2mm profile, 4, 6, 8mm length	$56.00	Only to be funded where used in

Plates)	 between inner holes	a service for which a Medicare

Benefit is payable

Smith & Nephew Surgical Pty Ltd

SN006	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	Straight 3-6 holes, T-Plates 3-4 	$155.00

holes

SN073	TC 100	L - Plates & T - Plates	2.0mm & 2.7mm	$75.00

SN083	TC 100 2.0mm T-plates	Sterile, 9 hole shaft	3 - 4 holes	$155.00

SN087	TC 100 Semi Tubular plates	8 - 12 holes	135 - 199mm	$70.00

Prostheses List by Category, Groups and Sponsor	Page 698 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN088	TC 100	Semi Tubular plates	2 - 7 holes	$56.00

SN116	TC 100 2.7mm T-plates	Sterile	One size only	$83.00

SN532	TC 100 Plate	2.0mm Straight Plate	3-20 hole	$81.00

Stryker Australia Pty Ltd

SR055	Stryker Locking Plate System	Plates including Locking, Standard & 	Straight, Curved, L, T, Y & 3-D	$520.00

Compression

SR075	Stryker Locking Plate System	Locking Plates	Straight, Curved, H, T, L & 3-D	$750.00

ST730	Leibinger Titanium Implant System	Hand system, fixation plate, L-shape, 	1.7mm, 6 holes	$225.00

Synthes Australia Pty Ltd

SY029	AO/ASIF Plates 	straight & shaped plate	2.0mm - 2.7mm, 2 - 50 hole	$369.00

SY112	AO/ASIF Plates	Plate	1.0mm - 2.7mm	$402.00

SY253	AO/ASIF Plates	Foot & hand plates - steel - titanium 	1 - 4mm	$670.00

multiple hole

Zimmer Pty Ltd

ZI214	Zimmer Plates	Mini Straight & Epiphysis Plates	3 - 8 Hole	$153.00

ZI215	Zimmer Plates	Mini SCP Plate	3 - 12 Hole	$113.00

ZI549	Zimmer Universal Locking System	2.7mm Universal Locking System 	6 hole 49mm; 8 hole 65mm	$470.00

Reconstruction Plates, Straight - Sterile &

Non Sterile

ZI550	Zimmer Universal Locking System	2.7mm Locking Dual Compression Plate 	2 hole 26mm; 4 hole 49mm; 6 	$229.00	$240.00

Sterile and Non Sterile	hole 72mm; 7 hole 84mm; 8

hole 95mm; 9 hole 107mm; 10

hole 118mm; 12 hole 141mm;

16 hole 187mm

ZI551	Zimmer Universal Locking System	2.7 mm Locking T & L Plate Sterile and 	2 hole head 3 hole shaft 39mm 	$260.00

Non-Sterile	length; 2 hole head 5 hole shaft

62mm length; 3 hole shaft left

39mm; 3 hole shaft right 39mm;

3 hole shaft oblique left 42mm;

3 hole shaft oblique right 42mm;

5 hole shaft left 62mm; 5 hole

shaft right 62mm; 5 hole shaft

ZI552	Zimmer Universal Locking System	2.7mm Locking One-Quarter Tubular 	3 hole 36mm; 4 hole 47mm; 5 	$175.00	$190.00

Plate-Sterile and Non-Sterile	hole 59mm; 6 hole 70mm;l 7

hole 82mm; 8 hole 93mm

Prostheses List by Category, Groups and Sponsor	Page 699 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AB

Arthrocare Australasia Pty Ltd

AF009	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5-2.5 mesh plates, 14 x 14 	$2,490.00

Polylactic Acid Trimethylene Carbonate 	holes; 1.5mm baby mesh plate

Copolymer	14 x 14 holes

AF010	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5-2.5 mesh plate, 7 x 7 holes; 	$1,200.00

Polylactic Acid Trimethylene Carbonate 	1.5mm baby mesh plate 7 x 7

Copolymer

AF011	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5mm baby plates:- 20 hole, c-	$350.00

Polylactic Acid Trimethylene Carbonate 	plate & x-plate 7 hole, 2 hole

Copolymer

AF013	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5-2.5mm plates:- 2-10 hole 	$240.00

Polylactic Acid Trimethylene Carbonate 	plates and extended, c-plate &

Copolymer	x-plate 7 hole, H-plate 8 hole,

orthognathic hole and L-plate L

Com

B Braun Australia Pty Ltd

BB311	Position HTO Implant System - HTO 	Titanium Osteotomy Plate, internal 	One size	$1,300.00	$1,600.00

fixation plate used in proximal tibial

repositioning osteotomy.

Medartis

EO008	Aptus Hand &Foot Plates	Aptus Hand &Foot Plates	1.2/1.5/2.0/2.3/2.5/2.8; straight 	$670.00

plate 4-16 hole; curved 16 hole;

offset 16 hole; T plate, Y plate,

L plate 4-10 hole; T plate offset

11-12 hole; grid-rectangular,

trapezoid, angled, square 4 hole-

12 hole, 1 hole plate and Wing

Smith & Nephew Surgical Pty Ltd

SN081	TC 100 2.0mm H-plates	Sterile	One size only	$108.00

SN129	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	H-Plates 4 holes	$100.00

SN542	TC 100 Plate	Multifragment Plates	One size only	$113.00

Stryker Australia Pty Ltd

ST722	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 4x2 holes	$520.00

system, fixation plate,  3D plate, titanium

Prostheses List by Category, Groups and Sponsor	Page 700 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST738	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 2x2 holes	$267.00

system, fixation, 3D plate, titanium

ST741	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 4x2 holes	$520.00

system, 3D plate, titanium

ST764	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment	2.3mm system, 4x2 holes	$505.00

System, fixation plate, 3D plate, Titanium

ST783	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction 	Diameter 2.3mm, Length 8mm -	$72.00

System, screw, Titanium	 22mm

ST786	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction 	4 holes	$320.00

System, straight plate, Titanium

ST787	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction 	6 holes	$480.00

System, straight plate, Titanium

ST788	Leibinger Titanium Implant System	Leibinger System, anatomical shap, 	1 - 4 holes	$330.00

Surgiplas Medical

SP052	CONTOUR Hand	Contour Hand - Plates	XS / S / M / L; straight plate 4-	$670.00

16 hole; Z plate, Y plate, T plate,

L plate 5-9 hole; Straight plate,

T plate with stabilizers 5-6 hole;

Square, Grid-rectangular plate 4-

8 hole; Straight, T, Y

Compression Plate 4-7 hole;

Condylar plate w/out stabilizer

Synthes Australia Pty Ltd

SY113	AO/ASIF Plates	2.0mm condylar	Left & right	$420.00

Group 16d: Other

Biomet Australia Pty Ltd

BI843	EBI XFIX DynaFix System	Plate, VS Osteotomy  Ti	4 hole, 6 hole	$975.00

BI930	Sternalock	Plates - xyphoid, "L" & square	4 hole	$195.00

BI931	Sternalock	Plates - "X" & "T"	5-8 hole	$300.00

Device Technologies Australia Pty Ltd

DE285	Lapidus Plate	The Lapidus Plate is a fusion plate	One size only	$650.00

DE287	Low Profile MTP Plate	Arthrodesis Plate	Contoured Left Short, 	$600.00

Contoured Right Short,

Contoured Left Long, Contoured

Prostheses List by Category, Groups and Sponsor	Page 701 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DE290	H-Plates	Fixation plate for fusions and osteotomies	Plates, Flat - 38mm x 16mm, 	$650.00

left,large, 38mm x 16mm,

right,large, 34mm x 16mm, left,

medium, 34mm x 16mm, right,

medium, 28mm x 16mm left,

small, 28mm x 16mm,

right,small

Plates, Wedge - 38mm x

16mm, 10mm wedge, left,

38mm x 16mm, 10mm wedge,

right,  36mm x 16mm, 8mm

wedge, left, 36mm x 16mm,

8mm wedge, right, 34mm x

16mm, 8mm wedge, right

Johnson & Johnson Medical Pty Ltd

DP675	Small / Large Fragment Set S/S	Broad Bone Plate Stainless Steel 	3-6 Hole for 1.5mm	$149.00

DP695	Small / Large Fragment Set S/S	Y-Plate Stainless Steel           	2 + 2 + 4 or 4 + 4 + 4 Slots	$184.00

DP719	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 3-8 Hole	$209.00

LMA PacMed Pty Ltd

PM118	Orthofix eight-Plate	Guided Growth Plate for correction of 	12mm; 16mm	$370.00

angular deformities, Titanium, two hole

plate, figure eight shaped

LMT Surgical Pty Ltd

LM033	Trimed Wrist Fixation System, Volar 	Stainless Steel	Volar Peg Plate 3-hole, Right & 	$1,300.00

Peg Plate	Left, 4 and 5 Peg; Volar Peg

Plate 5-hole, Right & Left, 4 and

LM062	ArgoMedical Pedofix	Titanium fixed angle plate for foot surgery	2.7mm	$650.00

Smith & Nephew Surgical Pty Ltd

SN013	TC 100 3.5mm Curved Reconstruction 	Sterile, 6 - 8 holes	70 - 94mm	$183.00

plates

SN065	TC 100 4.5mm T-Buttress plates	Sterile, 4 - 6 holes	80 - 112mm	$170.00

SN068	TC 100	Plate: Condylar	1.5mm, 2.0mm &2.7mm	$190.00

SN069	TC 100 3.5mm Reconstruction plates	Sterile, Straight 9 - 11 holes	106 - 130mm	$231.00

SN075	TC 100	Plate: Reconstruction	3.5mm & 4.5mm, 10 - 15 holes	$270.00

SN076	TC 100	Plate: Curved Reconstruction	3.5mm, 10 -18 holes	$260.00

SN080	TC 100 4.5mm T-plate	Sterile, 5 - 8 holes	100 - 148mm	$204.00

Prostheses List by Category, Groups and Sponsor	Page 702 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN098	TC 100 4.5mm Reconstruction plates	Sterile, 14 - 16 holes	221 - 253mm	$295.00

SN107	TC 100 4.5mm Condylar Buttress plates	Sterile,  right, 11 - 15 hole	221 - 285mm	$480.00

SN109	TC 100 3.5mm Reconstruction plates	Sterile, Straight 4 - 8 holes	46 - 94mm	$170.00

SN126	TC 100 4.5mm Condylar Buttress plates	Sterile, Left and right,  7 - 9 hole	158 - 190mm	$451.00

SN134	TC 100 3.5mm Reconstruction plates	Sterile, Straight 16 - 22 holes	190 - 263mm	$380.00

SN143	TC 100 4.5mm Reconstruction plates	3 - 9 holes	45 - 141mm	$183.00

SN569	TC 100 Plate	Calcaneal Plate Sterile	60mm,70mm & 9 hole	$420.00

SN570	TC 100 Plate	Cloverleaf Plate	3-4 hole	$180.00

SN571	TC 100 Plate	Cloverleaf Plate	5-6 hole	$380.00

SN572	TC 100 Plate	Cloverleaf Plate	7-8 hole	$397.00

SN573	TC 100 Plate	Cloverleaf Plate	9 hole	$442.00

SN574	TC 100 Plate	Cobra Head Plate	8-11 hole	$433.00

SN577	TC 100 Plate	Hook Plate	123mm 4 hole	$330.00

SN578	TC 100	Plate: Spoon &  L-Buttress	3 - 18 holes	$160.00

SN581	TC 100 Plate	Lateral Tib Head Buttress Plate	3-7 hole Left & Right	$450.00

SN582	TC 100 Plate	Lateral Tib Head Buttress Plate	9-13 hole Left & Right	$518.00

SN782	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	4.5mm	$407.00

Narrow, Lefts & Rights

SN784	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	4.5mm. 18-22 hole	$433.00

Broad, Left & Rights

SN796	Peri-Loc	Plates, Stainless Steel, Locking, 	 3.5mm, 4 - 12 holes	$506.00

Compression, Lefts and Rights

SN797	Peri-Loc	Plates, Stainless Steel, Locking, 	3.5mm, 14 - 18 holes	$685.00

Compression, Lefts and Rights

SN798	Peri-Loc	Plates, Stainless Steel, Locking, 	3.5mm, 20 - 22 holes	$740.00

Compression, Lefts and Rights

SN800	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	3.5mm, 4-10 holes	$231.00

Reconstruction, Lefts and Rights

SN801	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	3.5mm, 12-14 holes	$340.00

Reconstruction, Lefts and Rights

Prostheses List by Category, Groups and Sponsor	Page 703 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Com

Advanced Surgical Design & Manufacture Ltd

AE126	Carpal Fusion Compression Plate	316L Stainless Steel Compression Plate, 2	2 Hole; and 3 Hole Plates	$740.00	$945.00

hole and 3 hole

Johnson & Johnson Medical Pty Ltd

JJ720	ALPS LFS	4.5mm locked narrow and broad 1-4 hole	1-4 hole	$500.00

titanium compression plate

JJ721	ALPS LFS	4.5mm locked narrow and broad 5-10 	5-10 hole	$600.00

hole titanium compression plate

JJ722	ALPS LFS	4.5mm locked narrow and broad 11-20 	11-20 hole	$700.00

hole titanium compression plate

JJ727	ALPS LFS	Offset, Reconstruction and 4.5mm Spider	4-25 holes	$650.00

and T-plates, Titanium

Lifehealthcare Pty Ltd

LH445	Hinge Pediatric Plating System - Hinge 	Articulated growth-correction fixation 	12mm, 16mm, 20mm (distance 	$370.00

between anchoring points)

LMT Surgical Pty Ltd

LM008	Spider and Mini-Spider Limited Wrist 	Stainless Steel	8 hole spider plate, 6 hole mini-	$2,200.00

Fusion System	spider plate

LM050	Biotech Easy Lock Osteosystem	Titanium and PEEK	2-10 holes  straight	$600.00

LM051	Biotech Easy Lock System	Easy Lock Plating System	Various	$700.00

LM060	BioTech Xpode 4	PEEK curved and round plate	Mini 1, 2, 3 & 4	$1,100.00

LM068	Normed fracture fixation plates	Titanium plates, various sizes and shapes	Various	$450.00	$650.00

LM097	Memometal Anchorage Bone Plates	Osteosynthesis Bone Plate System	Length 41mm, 51.5mm, 53mm 	$450.00	$650.00

Thickness 1.3mm, 1.5mm

Medical & Optical Instruments Australia Pty Ltd

MO150	Acumed Congruent Plate System	Foot & Ankle Plate, Titanium	4 to 9 Hole	$470.00

MO202	Acumed Bone Plate	MCP Fusion Plate - Titanium	4 Hole left and right	$572.00

MO208	Acumed Bone Plate	Wrist Fusion Plate - Titanium	Standard, Mini	$2,092.00	$2,200.00

Prostheses List by Category, Groups and Sponsor	Page 704 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MO279	Anatomic Midshaft Forearm Plates	Internal Fixation Plate Anatomic Forearm,	Midshaft Ulna Plates: 6 hole 	$1,450.00

Ulna & Radius	80mm, 8 hole plate 100mm, 10

hole 130mm, 12 hole, 160mm,

Midshaft ulna shortening plates:

6 hole 80mm, Midshaft

Dorsolateral Radius Plates: 6

hole (80mm), 8 hole (100mm),

10 hole 9130mm) 12 hole

(160mm); Midshaft Volar

Radius Plates: 6 hole (80mm), 8

hole (100mm), 10 hole

(130mm), 12 hole (160mm)

Orthopaedic Solutions Pty Ltd

OE008	NexFix MTP Fusion System	A bendable stainless steel bone plate and 	Left 2 + 3; Right 2 + 3	$730.00

screw system with unique low profile

locking screw option.  Indicated for use

in primary MTP fusion

Smith & Nephew Surgical Pty Ltd

SN783	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	4.5mm. 6-16 hole	$320.00

Broad, Left & Rights

SN795	Peri-Loc	Plates, Stainless Steel, Locking, 	3.5mm	$334.00

Compression & Tubular, Lefts and Rights

Stryker Australia Pty Ltd

SK398	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	100mm - 200mm	$2,550.00

SK399	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	110mm - 210mm	$4,000.00

SK402	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2	100mm - 200mm	$3,652.00

Cables

SK403	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2	110mm - 210mm	$5,102.00

Cables

Synthes Australia Pty Ltd

SY038	AO/ASIF Plates	DHS Trochanteric stabilising plate	3-16 hole	$680.00

SY093	AO/ASIF Plates	Specially manufactured plate all sizes	Custom made	$3,605.00

SY111	AO/ASIF Plates	Specially manufactured plate	1.0mm - 6.5mm	$3,914.00

Tornier Pty Ltd

TO030	Aequalis Humeral Plate	Proximal Humeral Plate	90mm length with 3-holes shaft 	$1,400.00

and 120mm length with 5-hole

Prostheses List by Category, Groups and Sponsor	Page 705 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 16e: Dynamic - Hip

Johnson & Johnson Medical Pty Ltd

DP672	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  	2-8 Hole 95 to 150 Deg	$348.00

LMA PacMed Pty Ltd

PM111	Gotfried PC.C.P.	Internal Hip Compression Plate	One size only	$750.00

Smith & Nephew Surgical Pty Ltd

SN468	Compression Hip Screw System	Ambi Standard Barrel Plates	60mm -80mm, 2-3 slot	$305.00

SN469	Compression Hip Screw System	Ambi Standard Barrel Plates	100mm -220mm, 4-10 slot	$500.00

SN470	Compression Hip Screw System	Ambi Standard Barrel Plates	260mm+, 12-14 slot	$660.00

SN471	Compression Hip Screw System	Ambi Short Barrel Plates	100mm, 4-5 slot	$440.00

SN473	Compression Hip Screw System	Classic Standard Barrel Plates	60-140mm, 2-3 slot	$338.00

SN475	Compression Hip Screw System	Classic Standard Barrel Plates	260mm+, 12-14 slot	$660.00

SN476	Compression Hip Screw System	Classic Short Barrel Plates	100 - 120mm	$465.00

SN479	Compression Hip Screw System	Hip Screw Clip (ambi only)	One size only	$81.00

SN480	Compression Hip Screw System	Intramedullary Hip Screw (IMHS), 	One size only	$115.00

Centering Sleeve, Stainless Steel

SN488	Intermediate Osteotomy System	Compressing	One size only	$114.00

SN492	Paediatric Osteotomy System	Lag Screw	22mm- 40mm	$421.00

Stryker Australia Pty Ltd

HW330	Omega Plus Compression Hip Screw 	Hip Sideplate - Standard Barrel -  	2,3,4,5 hole 130-150 degrees	$350.00

Stainless Steel

Zimmer Pty Ltd

ZI157	Zimmer Internal Fixation Systems: 	Freelock/Versa-fx tube plate - Stainless 	2 holes - 20 holes	$695.00

Compression Hip Screw

Com

Johnson & Johnson Medical Pty Ltd

JJ737	Compression Hip Screw System	Compression hip screw plate, stainless 	25-38mm, 2-16 holes, 95-150 	$1,215.00

degrees

Stryker Australia Pty Ltd

HW331	Omega Plus Compression Hip Screw 	Hip Sideplate - Short Barrel -  Stainless 	6,8,10,12 hole 130-150 degrees	$675.00

Prostheses List by Category, Groups and Sponsor	Page 706 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK462	Stryker Compression Hip Screw System	Omega3 compression Hip screw	130-150 degree, 2-12 gike, 47-	$875.00

207 mm

Synthes Australia Pty Ltd

SY053	AO/ASIF Plates	DHS/DCS plate	125-160deg 2-28 hole	$484.00

Group 16f: Dynamic Supracondylar

Smith & Nephew Surgical Pty Ltd

SN478	Compression Hip Screw System	Classic Supracondylar Plate	90-95 6-12SL	$740.00

SN490	Intermediate Osteotomy System	Plate (hip screw)	90-150Deg	$789.00

Stryker Australia Pty Ltd

HW332	Omega Plus Compression Hip Screw 	Supracondylar Sideplate -  Stainless Steel	6,8,10,12,14 holes	$570.00

Synthes Australia Pty Ltd

SY107	AO/ASIF Plates - Steel	DCS DHS plate	95 - 150 degree, 2 - 22 hole, 	$1,215.00

length 25 - 38mm barrel

Com

Stryker Australia Pty Ltd

SK463	Stryker Compression Hip Screw System	Omega3 Supracondylar Plate	95 hole, 6-14 hole, 111-239mm	$875.00

Synthes Australia Pty Ltd

SY046	AO/ASIF Plates	condylar plate	2.0mm - 2.7mm	$376.00

SY104	AO/ASIF Plates	Osteotomy plate - high tibial	95 deg condylarprox tibia , 50-	$1,043.00

60 mm, displ 15-20mm

SY105	AO/ASIF Plates - Steel	Condylar & small condylar, angled plate	5 - 24 hole, blade length 50 - 	$974.00

90mm, 95 degree

SY121	AO/ASIF Plates	Condylar, angled plate	4-22 hole	$1,200.00

SY122	AO/ASIF Plates	Angled plate	4-22 hole	$1,200.00

SY153	AO/ASIF Plates - Steel	Osteotomy plate - shoulder	Dislocation 80-90 deg.  blade 	$920.00

length 35 - 40mm

Group 16g: Periarticular Anatomic

Johnson & Johnson Medical Pty Ltd

DP613	Small / Large  Fragment Set	Humeral and Radial Plate Titanium 	Wide - Narrow - Long - Extra 	$329.00

DP615	Small / Large  Fragment Set	Universal Reconstruction Ribbon 	3.5mm with 8 to 10 holes	$535.00

Prostheses List by Category, Groups and Sponsor	Page 707 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DP617	Small / Large  Fragment Set	Universal Reconstruction Ribbon 	3.5mm with 12-14 holes	$796.00

DP618	Small / Large  Fragment Set	Universal Reconstruction Ribbon 	3.5mm with 3 to 7 holes	$402.00

DP689	Small / Large Fragment Set S/S	Condylar Plate & Mini Condylar Plate	All sizes	$178.00

DP888	Calcaneal Periarticular Plate	Calcaneal Periarticular Plate - Titanium	Extra small to Ex Large	$530.00

DP904	Periarticular Plating System	Plate Calcaneal  - Titanium	Small - Large	$528.00

DP905	Periarticular Plating System	Fibula Composite Plate - Titanium  	5 Hole	$317.00

JJ681	Polyax Plating System	Distal Femoral Locking Plate, Titanium	6-18 holes	$2,000.00

JJ785	ALPS Hand Fracture System - Locking 	Locking plates, titanium, various shapes	1.0mm - 2.5mm locking plates	$1,314.00

LMT Surgical Pty Ltd

LM054	Argomedical Malleolar Plate	Titanium	6 - 10 Hole Plates	$460.00

Stryker Australia Pty Ltd

SK038	Leibinger Titanium Implant system	Profyle hand and small fragment plate 	2.3mm system L, compr 10 hole	$1,410.00

T bar

SK219	Stryker Plating System	Periarticular Plates	2 - 18 holes, 3.5 - 6.5mm 	$1,004.00

SK366	Universal Distal Radius System	Universal SMARTLook Locking Plates	Standard, Narrow and Wide in 	$1,450.00

Long and short options

SK368	Stryker Plating System	SPS Locking Plate System	Distal Medial and Lateral tibia  3 	$1,450.00

Holes to 10 Holes left and right

SK377	Stryker Plating System	SPS Locking Plate System	Distal Femur - 4 holes to 16 	$1,500.00

holes, Left and Right

SK379	Stryker Plating System	SPS Locking Plate System	Proximal Humerus 3 Holes to 10	$1,400.00

Holes Left and Right

SK381	Stryker Plating System	Stryker locked plating system	Distal Humerus, Lateral and 	$1,400.00

Medial, 1-8 holes

SK383	Stryker Plating System	SPS Locking Plate System	Proximal Tibia, Lateral and 	$1,450.00

Medial, 4 hole to 12 holes, left

SK391	Leibinger Universal Distal radius System	Universal Distal Radius SMARTLock 	Radial Column - Long and 	$1,350.00

Column Locking Plates	Short; Ulna Column - Long and

Short, Left and Right

SK454	VariAx Plate	Volar Plate, Polyaxial Locking	Narrow & Standard; Short & 	$2,350.00

Long; Right & Left

SR071	Stryker Locking Plate System	Calcaneus Locking Plates	Small, Medium & Large	$1,275.00

Prostheses List by Category, Groups and Sponsor	Page 708 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY023	AO/ASIF Plates	Steel, left & right, lateral, proximal, tibial, 	3-13 hole	$831.00

buttress, 4.5mm lateral tibial

SY052	AO/ASIF Plates	Distal radius plate - volar plates - left & 	2.4mm	$963.00

SY163	LCP Plate	Tibial Plate, Sterile/Non Sterile	1 - 24 hole	$1,854.00

SY279	Small & Mini Fragment Plates	Locking Distal Radius Plate System	LCP Dorsal T, L, Straight Plates	$1,185.00

2.4mm Long/Short

Zimmer Pty Ltd

ZI153	Periarticular Plates	Periarticular Tibial Plateau Plates - 	2 holes - 14 holes Left & Right	$1,219.00

Stainless Steel

ZI154	Periarticular Plates	Periarticular Femoral Condylar Plates - 	4 holes - 18 holes Left & Right	$1,211.00

Stainless Steel

ZI243	Periarticular Plates	Stainless Steel	2 - 20 Hole	$974.00

ZI331	Zimmer Periarticular Locking Plates	Periarticular Locking Plating System	Various lengths and numbers of 	$1,400.00

holes

ZI398	High Tibia Osteotomy	High Tibia Osteotomy - Ti alloy	L shaped steel alloy plate;  	$964.00

Standard & Long

Com

Austofix

AX040	VRP Distal Radius Fixation System, 	Volar Distal Radius Plate - Wide	Wide, 3 and 4 hole, left and right	$1,300.00

Volar Distal Radius Plate - Wide

AX041	VRP Distal Radius Fixation System 	Volar Distal Radius Plate - Standard	Standard, 3 and 4 hole, left and 	$1,200.00

Volar Distal Radius Plate - Standard	right

Darco Australia

DC033	Charlotte Claw Locking Plate	2 hole and 4 hole compression plates, 	2.7mm 2 holes - 15, 20 and 	$550.00

stainless steel, 2.7mm or 3.5mm screw 	25mm; 3.5mm 2 holes and 4

fixation	holes - 20, 25 and 30mm

Johnson & Johnson Medical Pty Ltd

DP906	Periarticular Plating System	Medial Pilon Plate - Titanium 	3 Hole	$340.00

DP907	Periarticular Plating System	Meta Plate - Titanium	Sm - Lge  3 Hole	$340.00

DP911	Periarticular Plating System	Meta Plate - Titanium      	Sm -Lge  5 Hole   	$338.00

DP915	Periarticular Plating System	Medial Pilon Plate - Titanium	5 Hole 	$346.00

DP916	Periarticular Plating System	Medial Pilon Plate - Titanium	7 Hole 	$381.00

Prostheses List by Category, Groups and Sponsor	Page 709 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ618	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, 	Standard, left & right	$1,270.00

titanium

JJ619	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, 	Narrow, wide, short, X-large, 	$1,450.00

titanium	XX-large narrow-left & right

JJ620	Distal Radius Fracture Repair System	DNP, dorsal nail plate, titanium	Standard, left & right	$1,180.00	$1,220.00

JJ621	Distal Radius Fracture Repair System	Fragment locking plate, titanium	Right, left, straight, Y	$815.00	$845.00

JJ624	HI S3 Shoulder Fixation System	S3 Shoulder Plate	 3 Hole, Left & Right & 4 Hole, 	$1,400.00	$2,242.00

Left & Right

JJ625	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	6 - 8 Hole, Left & Right	$1,470.00	$2,378.00

JJ626	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	11 - 14 Hole, Left & Right	$1,450.00	$2,709.00

JJ686	Polyax Plating System	Proximal Tibial Locking Plate, Titanium	2-14 holes	$1,800.00

JJ729	ALPS Anatomic Locked plating system	Anterolateral and Medial Distal Tibial 	5-10 holes	$1,800.00

Anatomic Locking Plate, Titanium

JJ730	ALPS-Anatomic Locked Plating system	Anterolateral and Medial Distal Tibial 	11-20 holes	$1,800.00

Anatomic Locking Plate, Titanium

JJ811	ALPS Elbow System	Locking plates Distal Humerus, Radius, 	Small - Large	$1,500.00

Olecrannon, Coronoid

Lifehealthcare Pty Ltd

LH443	I.T.S. Distal Humeral Locking Plates	Humeral Plates, Distal	4-7 holes, dorsolateral, left and 	$1,308.00

right; 8-10 holes, medial, left

and right (Screw diameter

LH458	I.T.S. Pilon Plate	Locking Pilon Plates	4.6 and 8-holes (Screw 	$1,219.00	$1,800.00

diameter: Cancellous 4.2mm;

LH459	I.T.S. Olecranon Plate	Locking Olecranon Plates	6, 8, 10 and 12-holes (Screw 	$1,308.00

diameter: Cancellous 4.2mm;

Cortical 3.5mm)

Medical & Optical Instruments Australia Pty Ltd

MO194	Acumed Congruent Plate System	Elbow plate  titanium, locking radial head	Locking radial head, 3 hole std 	$1,308.00

curve 31mm, 5 hole std curve

46mm, 3 hole curve 31mm, 5

hole curve 46mm

MO211	Acumed Locking Clavical Plating 	Locking Clavical Plates	Locking mid shaft superior, 	$1,386.00

locking distal superior, locking

MO243	Polarus Proximal Humeral Plate	Titanium Humeral Plate	Left, Right, Large, Small, Two 	$1,470.00

Prostheses List by Category, Groups and Sponsor	Page 710 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MO257	Acu-Loc Distal Radius Plate System	Distal radius plate, titanium	Volar, Dorsal, Distal Ulna, 	$1,675.00

Standard, Long, Extra long,

wide, narrow, left, right, extra-

MO272	Acumed Tap Loc Elbow plates	Variable angle locking plate system	Medial / Lateral, lft and right, 	$1,550.00

Olecranon / Proximal Ulna left

and right, coronoid 6-20hole

MO278	Acumed Locking Calcaneal Plates	Locking Plate, Calcaneal, Titanium	Small, Medium & Large, Left & 	$1,209.00	$1,680.00

Right

MO319	Acumed Locking Scapula Plate System	Locking Bone Plate, Scapula	4 hole, 6 hole, 9 hole, 10 hole, 	$470.00	$1,450.00

13 hole left and right

Smith & Nephew Surgical Pty Ltd

SM149	Peri-Loc PFP	Proximal Femur Locking Plate - 360L 	2H R & L 104MM, 4H R & L 	$1,800.00

stainless steel	144MM, 6H R & L 180MM, 9H

R & L 234MM

SN022	Osteotomy Plates	Blade, Adult osteotomy 4 hole	40 - 80mm	$983.00

SN745	Peri-Loc	2.7mm, 3.5mm & 4.5mm Locking Plate, 	3 - 19 Holes	$1,314.00

StainlessSteel

SN829	Peri-Loc UE	2.7mm Locking Recon Plate 6-14 Holes	48mm - 113mm	$1,314.00

SN831	Peri-Loc UE	Locking plates SS: Distal Radius, 	2.5-4.5mm, 3-14 holes	$1,500.00

Olecrannon, Humerus, Clavicle

Stryker Australia Pty Ltd

SK499	Stryker Locking Plate system	Variable angle locking plate for olecranon 	All lengths	$1,308.00	$1,550.00

fractures

Synthes Australia Pty Ltd

SY037	AO/ASIF Plates	Wrist fusion plate	2-28 hole	$1,456.00

SY059	AO/ASIF Plates	Unilock, angled, straight, T, Y, condylar, 	2mm - 50mm	$1,545.00

DCP, LCDCP, left & right, mandible and

locking plates

SY118	AO/ASIF Plates	4.5mm, head buttress plate lateral tibial 	5 - 15 hole	$1,246.00

left & right

SY162	LCP Plate	Distal Tibial Plate, sterile/non-sterile	Dia 3.5 - 5.0mm, length 4-24 	$1,800.00

SY164	LCP Plate	Distal Femoral Buttress Plate, Sterile/Non 	Dia 5.0mm, length 4-22 hole	$1,854.00

Sterile

SY165	LCP Plate	Tomofix Plate, Sterile/Non Sterile	Dia 5.0mm, length 2-8 hole	$1,212.00

Prostheses List by Category, Groups and Sponsor	Page 711 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY166	LCP Plate	Locking Proximal Humeral Plate, 	Dia 3.5mm, length 3-12 hole	$1,376.00

sterile/non sterile

SY259	Locking Distal Radius Plate System	Small & Mini Fragment Plates - Volar Plate	LCP - Volar Plate 2.4mm Left &	$2,350.00

Right, 2.4 Volar Plates Straight

SY280	Small & Mini Fragment Plates	Locking Distal Radius Ulna Column Plate 	2.0mm - 2.4mm	$1,715.00

System

SY283	LCP Plate	LCP  Olecranon Plate, left and right, non 	2-20 hole plates	$1,308.00

sterile/sterile

SY284	LCP Plate	LCP Distal humerus plate, dorso-lateral, 	2-20 hole plates	$1,308.00

left and right, non sterile/sterile; LCP

Distal humerus plate, dorso-lateral with

support, left and right, non sterile/sterile;

LCP Distal humerus plate, medial, left and

right, non sterile/sterile

SY354	Small & Mini Fragment Plates	LCP Radial Head Plates	2.4mm	$1,320.00

SY376	LCP Plate	Proximal Femur Plate	2-26 Hole	$1,800.00

SY521	LCP Plate	Distal Fibula Plate; Lateral, Posterolateral	2.7mm/3.5mm; 73mm-233mm 	$1,314.00

Length, 3-15 holes

Wright Medical Australia

WR048	Evolve Radial Head Plate	Evolve Radial Plate System Stainless Steel	32mm x 20 - 26mm in 2mm 	$1,360.00

increments

WR049	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, small & standard	$600.00

WR050	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, extended	$730.00

WR051	Charlotte MTP Fusion System	MTP plate screw, stainless steel	2.7 & 3.2 dia. 8-24mm length in	$95.00

2mm increments

WR052	Charlotte MTP Fusion System	MTP plate, stainless steel, SLIM LINE	Left & right	$730.00

WR056	Locking Plate	Titanium locking plates anatomically 	2.7mm; neutral, 3-7mm spacer; 	$450.00

contoured for forefoot and midfoot 	18-24mm length, 3.5mm;

osteotomies. Unique spacer widths in 	neutral, 2-8mm spacer; 12-

1mm increments allow for controlled and

maintained correction.

WR057	Lapidus Plate	Titanium locking plate with unique 	3.5mm: neutral, 1-6mm step	$510.00

stepped displacement in 1mm increments

permits accurate plantarisation and

lateralisation in midfoot fusions.

Prostheses List by Category, Groups and Sponsor	Page 712 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WR058	Calcaneus Plate	Titanium locking plate specifically 	3.5mm universal sizing (R&L): 	$1,275.00

designed to have low profile (1.5mm 	S - 54mm, M - 64mm & L -

thick) for easy contouring

WR064	MPJ Fusion Plate	Titanium locking plate with built-in 1- 	S, M, L	$600.00

degree valgus angle for anatomic fixation

of 1st MTP joint

WR065	Rearfoot Plate - RPS	Unique extended plate geometry for 	6 hole - 37mm, 8 hole - 50mm, 	$750.00

plating complex rearfoot reconstructions, 	14 hole - 66mm

uses 3.5mm locked screws for optimal

WR066	Arthrodesis Flat Plate - AFP	Flat plate intended for use in isolated 	12, 14 & 16mm length	$510.00

tarsal fusions, titanium locking plate,

WR067	Displacement Plate - DPS	Unique steep plate design allows for 	6, 8 & 10mm step	$600.00

controlled fixation of displacement

calcaneal osteotomies. 3 step variations

allows for accurate corrections. 3.5mm

Titanium locking plate

WR069	TOM Plate	Designed for base osteotomies and 	L & R: neutral, 1-5mm step	$540.00

fusions of MT1 with correction achieved

through one cut. It is a titanium locking

plate, anatomically designed with a

smaller radius to fit the contour of the

first metatarsal and 5 step variation in

1mm increments for accurate correction.

Group 17: Screws

Group 17a: Dynamic

Austofix

AX025	Austofix Femoral & Tibial Nailing System	6.2/6.5mm Hip Screw; high nitrogen s-s	Dia 6.2 & 6.5mm; Lengths 70 - 	$189.00

120mm

AX054	Tectona Hip Plate - Standard Lag Screw	Hip Lag Screw, sterile packed	12.5mm, 14.5mm	$200.00

AX055	Tectona Hip Plate - Lag Screw HA 	Hip Lag Screw HA coated, sterile packed	12.5mm - lengths 50-145mm	$300.00

Corin Australia Pty Ltd

CR070	Alpha Lock Titanium Counter Sunk 	Titanium Counter Sunk Screw	Length (mm) 15, 20, 25, 30, 35,	$140.00

40, 45, 50, 55, 60, 65 & 70

Johnson & Johnson Medical Pty Ltd

JJ684	Polyax Plating System	Cancellous Non-Locking Screw, 	40-100mm	$220.00

Prostheses List by Category, Groups and Sponsor	Page 713 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH358	Screws	Diamond Carpal Screws	12, 14, 16mm	$100.00

Orthotech Pty Ltd

OH371	Otis Plate Screws	Screw for plate	27-70mm	$91.00	$300.00

Synthes Australia Pty Ltd

SY109	AO/ASIF Plates	DHS/DCS compression screw	36mm length	$46.00

Zimmer Pty Ltd

ZI158	Zimmer Internal Fixation Systems: 	Freelock/Versa-fx lag screw - Stainless 	50 mm - 150 mm long	$247.00

Compression Hip Screw

CN

Johnson & Johnson Medical Pty Ltd

DP668	Small / Large Fragment Set S/S	CHS Lag Screw Stainless Steel 	Length 50-145mm	$224.00

Medical & Optical Instruments Australia Pty Ltd

MO178	Acutrak Fusion Screw	Titanium	12 - 37mm	$330.00

MO179	Acutrak Fixation Screw	Acutrak Compression Screw Titanium	8mm to 50mm	$425.00

MO180	Acutrak Headless Compression Screw	Acutrak 4/5, 5/5, 6/7 Plus, cannulated, 	25 - 80mm	$425.00	$495.00

headless, variabled thread

Stryker Australia Pty Ltd

SK484	Stryker Cannulated Screw System	Asnis III Cannulated screws	4.0 - 8.0 mm diameter	$425.00

SR058	Stryker Cannulated Screw System	Asnis Micro Cannulated screw	2.0mm-3.0mm, Diameters, 	$438.00

8mm-40mm lengths

DT

Advanced Surgical Design & Manufacture Ltd

AE068	ASDM Clavicle Compression System	Clavicle Compression PinTitanium 	3.2 & 4.0 mm x 50mm - 	$243.00	$690.00

Screw, Double Threaded

DT, CN

Stryker Australia Pty Ltd

SK256	TwinFix Cannulated Compression 	Diameter 3.2mm, lengths 14-	$440.00

Screw System

Wright Medical Australia

WR033	Charlotte Foot & Ankle System	High demand compression screw, 	6.5mm& 7.0mm dia, 40-110mm	$400.00

cannulated, stainless steel	 lengths in 5mm increments

Prostheses List by Category, Groups and Sponsor	Page 714 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LK

Endotec Australia Pty Ltd

EA038	Buechel-Pappas Shoulder Replacement 	Cancellous Bone Screw TiNi Coated	15mm, 20mm & 25mm	$140.00

System - Bone Screw for Glenoid

Fixation Cup

Orthotech Pty Ltd

OH340	Fyxis plate screw	Foot plate screw	9-55mm	$300.00

Group 17b: Standard - ≥4.5mm

Advanced Surgical Design & Manufacture Ltd

AE012	ASDM Bone Screw	Titanium 	2.0 - 6.5mm dia, length 4-150mm	$41.00

Austofix

AX023	Austofix Femoral & Tibial Nailing System	4.0/4.8 Screws; Locking; dual thd; high 	Dia 4.0 - 4.8mm; Lengths 20-	$120.00

nitrogen s-s

AX051	Tectona Hip Plate - Cortical Screw	Cortical Screw, self tapping	4.5mm, lengths 28-46mm	$30.00

B Braun Australia Pty Ltd

BB052	BRAUN AUST Intramedullary Nails	Compression Screw	4.5mmx64mm-4.5mmx102mm	$150.00

BB056	BRAUN AUST Intramedullary Nails	Fixation Screws	Dia 4.5mm-6mm,Length 20mm-	$55.00	$75.00

96mm

BB057	BRAUN AUST Intramedullary Nails	Closure Screws	Length 8mm-10mm	$60.00

BB059	BRAUN AUST Intramedullary Nails	Huckstep Fine Thread Screw	4.5mmx19mm-4.5mmx57mm	$55.00	$80.00

BB271	Aesculap Schanz Screw	Stainless steel	All sizes	$105.00

Biomet Australia Pty Ltd

BH053	Comprehensive Shoulder - Screws	Screw, Titanium	(4.75 or 6.5)mm diam x 15-	$145.00	$276.00

50mm length

BI915	Batcup	6.5mm Ti Cancellous Bone Screws	12mm to 45mm	$180.00

Johnson & Johnson Medical Pty Ltd

DP605	Small / Large  Fragment Set	Cancellous Lag Screw Titanium	4.8 - 6.5mm	$132.00

DP627	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	4mm or 5mm Dia 10-76 mm 	$122.00

DP632	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	5.0mm Length 50 - 80mm	$147.00

DP931	Small / Large Fragment Set 	Solid Cortical Screw Titanium	6.5mm x 40 - 100mm	$116.00

JJ716	ALPS SFS	Cortical Titanium Bone Screws	2.7-3.5 x6-70MM	$120.00

Prostheses List by Category, Groups and Sponsor	Page 715 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ724	ALPS LFS	Cancellous Titanium non-locking screws	6.5mm diameter	$120.00

JJ726	ALPS LFS	Cortical Titanium non- locking screws	4.5mm x 14-70mm	$120.00

Lifehealthcare Pty Ltd

LH444	Hinge Pediatric Plating System - Screws	2 screws for articulated growth-	4.5 x 35mm, 4.5 x 30mm, 4.5 x	$38.00	$200.00

correction fixation plate	 25mm

LMA PacMed Pty Ltd

PM113	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, 	Shaft L31-43mm:	$54.00

Smith & Nephew Surgical Pty Ltd

SN014	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	14 - 60mm	$19.00

SN018	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	100 - 145mm	$60.00

SN061	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	62 - 95mm	$35.00

SN284	Screws	Cancellous	15mm - 50mm	$185.00

SN593	TC 100 Screw	6.5mm Cancellous Screw	25 - 150mm length	$35.00

SN595	TC 100 Screw	6.5mm Cancellous Screw Fully Threaded	6.5mm Diameter, 115mm-150mm	$129.00

SN602	TC 100 Screw	6.5mm Cancellous Screw Partially 	6.5mm Diameter, 32mm thread, 	$60.00

130mm+ Length

SN675	HTO Screws	Titanium	4.5mm Diameter, 20 - 80mm 	$223.00

Length

SN770	Peri-Loc	Fixation device, internal, locking and non-	5 & 6.5mm	$80.00

locking, stainless steel, cortical and

cancellous screw

SN793	Peri-Loc	Fixation Device, Internal, Non-Locking, 	4.5mm, 10mm -110mm length	$70.00

Stainless Steel, Cortical & Cancellous

SN794	Peri-Loc	Fixation Device, Internal, Non-Locking, 	4.5mm, 115mm -130mm length	$80.00

Stainless Steel, Cortical & Cancellous

Stryker Australia Pty Ltd

HW333	Omega Plus Compression Hip Screw 	Lag Screw - Standard -  Stainless Steel	50-130mm length 	$195.00

HW334	Omega Plus Compression Hip Screw 	Lag Screw - Super -  Stainless Steel	50-130mm length 	$260.00

HW335	Omega Plus Compression Hip Screw 	Compression Screw -  Stainless Steel	25mm length	$50.00

HW337	Omega Plus Compression Hip Screw 	Cancellous -  Stainless Steel	6.5mm dia	$50.00

SK047	Stryker Wedge Interference Screw	Threaded biosteon screw for 	Dia 7 - 12mm, length 20 - 	$342.00	$566.00

ligment/tendon fixation

SK053	Stryker Plating System Screws - 	6.5mm Diameter, full and partial thread	Length 55-95mm	$305.00

Prostheses List by Category, Groups and Sponsor	Page 716 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK054	Stryker Plating System Screws - 	6.5mm Diameter, full and partial thread	Length 100-150mm	$305.00

SK086	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	22-38mm	$25.00

SK095	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	40-64mm	$25.00

SK096	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	65-95mm	$25.00

SK097	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	100-150mm	$25.00

ST004	Stryker Plating System Screws - 	Titanium or Stainless Steel	10-20mm	$25.00

Cortical 4.5mm

ST005	Stryker Plating System Screws - 	6.5mm Stainless Steel or Titanium	20-50mm	$35.00

Synthes Australia Pty Ltd

SY069	AO/ASIF Screws	Malleolar Screws	25mm - 110mm	$108.00

SY082	AO/ASIF Screws	Cancellous screws	10-150mm L	$145.00

SY266	AO/ASIF Screws	Malleolar Screws	20.0 - 45.0mm	$95.00

Tornier Pty Ltd

TO047	Fixation Screw for Articular Implant	Titanium	D. 4.5mm, L 18 to 45mm	$230.00

Zimmer Pty Ltd

ZI133	NexGen Knee High Tibial Osteotomy 	Screw - Ti	4.5 - 10 - 80 mm, 6.5 - 10 - 80 	$250.00

System

ZI149	Periarticular Plates	Periarticular 6.5mm Cancellous Screws - 	16mm Thread - 35-90mm Long,	$159.00

Stainless Steel	 32mm Thread - 45-90mm

Long, Fully Threaded - 25-

ZI151	Periarticular Plates	Periarticular 4.5mm Self Tapping Screws	26 - 90mm	$125.00

- Stainless Steel

ZI204	Zimmer ECT Screws	4.5mm Cortical Screws	14 - 120mm	$67.00

ZI205	Zimmer ECT Screws	4.5mm Self tapping Cortical Screws	14 - 70mm	$70.00

ZI206	Zimmer ECT Screws	4.5 Malleo Screw	25 - 70mm	$65.00

ZI207	Zimmer ECT Screws	6.5mm Cancellous Screws	25 - 110mm	$125.00

ZI370	Cancellous Screws	Orthopaedic Screws - Ti alloy	20 to 60	$148.00

ZI399	Cancellous Screws	Screws- Cancell - Ti alloy	6.5/15 to 6.5/70mm	$142.00

ZI400	Cortical Screws	Screws- Cortical - Ti alloy	4.5/30 to 60mm	$142.00

ZI596	NCB System	NCB Screw Self Tapping	5.00mm x 14-85; 4.00mm x 14-	$155.00

ZI598	NCB System	NCB Cancellous Screws	4.5mm x 30-65, 5.0mm x 32-	$155.00

90, 4.5mm x 30-65 C/FT

Prostheses List by Category, Groups and Sponsor	Page 717 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ZI599	NCB System	NCB Cortical Screws	5.00mm x 14-85; 4.00mm x 14-	$155.00

90; 3.5mm x 14-75.

AB

Arthrocare Australasia Pty Ltd

AF021	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Screws 2.8 x 40mm, 2.5 x 	$349.00

copolymer	30mm, 4.5 x 90mm

ConMed Linvatec Australia Pty Ltd

LV055	Bionx Implants - Screws	PLA Full Thread 	3.5mm	$340.00	$415.00

LV056	Bionx Implants - Screws	PLA Full Thread 	4.5mm	$360.00	$435.00

LV058	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 10-28mm	$335.00	$415.00

LV059	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 30-45mm	$340.00	$415.00

LV060	Bionx Implants - Screws	PLLA Lag Screw 	4.5mm x 25-70mm	$370.00	$450.00

LV062	Bionx Implants - screws	ACL PDLA Screws & Wedges	Dia 5mm, 7mm, 8mm, 9mm	$346.00	$515.00

AB, CN

ConMed Linvatec Australia Pty Ltd

LV057	Bionx Implants - Screws	PLA Cannulated	4.5mm	$380.00	$450.00

LV061	Bionx Implants - Screws	PLLA Lag Screw 	6.3mm Diameter	$494.00	$550.00

AB. CN

ConMed Linvatec Australia Pty Ltd

LV110	SmartScrew 2	Self Reinforced 96L/4D Copolymer	length 10-70mm, diameter 2 to 	$370.00

4.5mm, shape fully/partial

threaded, cannulated/non-

cannulated

Cannulated

Darco Australia

DC037	Darco Headed Compression Screw 	Cannulated titanium compression screws	4.5mm x 8-60mm; 6.5mm x 35-	$185.00	$425.00

System 4.5, 6.5, 7.5	120mm; 7.5mm x 35-120mm

Cannulated, Double threaded, Locking

Orthopaedic Solutions Pty Ltd

OE015	NexFix 4.5MM Compression Screw	The NexFix Compression Screw is a 	4.5mm diameter x 14-40mm in 	$196.00	$365.00

stainless steel, cannulated, self tapping, 	2mm increments, 40-65mm in

and self drilling fixation device for 	5mm increments, with short and

osteotomies, fusions and fracture fixation	 long thread options

Prostheses List by Category, Groups and Sponsor	Page 718 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

OE018	NexFix 6.5mm Compression Screw	The NexFix Compression Screw is a 	6.5mm diameter x 40-120mm in	$196.00	$445.00

stainless steel, cannulated, self tapping, 	 5mm increments with short and

and self drilling fixation device for 	 long thread options

osteotomies, fusions and fracture fixation

CN

Johnson & Johnson Medical Pty Ltd

DP592	Small / Large  Fragment Set	Cannulated Cancellous Lag Screw Titanium	6.5 - 8mm or 22 mm threaded 	$214.00

DP598	Small / Large  Fragment Set	Cannulated Bone Screw	3.5 mm length 50-60 mm	$98.00	$175.00

DP664	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 	20-150mm	$160.00

Medical & Optical Instruments Australia Pty Ltd

MO274	Acutrak 2	Headless Compression screw	8mm-50mm lengthmicro, 	$425.00	$550.00

mini, standard

Smith & Nephew Surgical Pty Ltd

SN438	Hip Pin	Cannulated	30-135mm	$203.00

SN631	Cannulated Hip Pins	Rush Nails, Round Bevil Point Hook Pins	20.3mm - 254mm	$110.00

SN635	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 16&20mm 	$201.00

Thread, 20-135mm

SN636	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 32mm thread, 	$228.00

45-130mm

SN637	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	5.5mm Diameter, 20-120mm	$143.00

SN638	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	7.0mm Diameter, 30-150mm	$150.00

SN639	Cannulated Screw	6.5mm  & 7.0mm screw Titanium	30 - 150mm Length	$163.00

SN641	Cannulated Screw	5.5mm screw Titanium	5.5mm Diameter 8x20mm- 	$150.00

32x120mm

SN643	Cannulated Screw	8mm Cannulated screws	8mm Diameter 65-125mm	$207.00

SN644	Cannulated Screw	6.4mm Cannulated screws	6.4mm diameter 65-125mm 	$221.00

Synthes Australia Pty Ltd

SY073	AO/ASIF Screws Steel	4.5mm cannulated screws	Short thread, 1/3 thread, full 	$185.00

thread / 20 - 72mm, 4.5mm

SY292	Facet Interference Screw	Cannulated Screw	7.5mm	$500.00

Prostheses List by Category, Groups and Sponsor	Page 719 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI176	Zimmer Internal Fixation Systems: 	Magna-FX - Stainless Steel	16 mm Thread - 30-30 mm; 32 	$205.00

Cannulated Screw	mm Thread - 40-120 mm; Fully

Threaded - 30-130 mm Long

CN, LK

Synthes Australia Pty Ltd

SY085	AO/ASIF Screws	Cannulated screws	Diameter 5.0 - 7.3mm, 20-	$213.00

DT

Zimmer Pty Ltd

ZI180	Zimmer Internal Fixation Systems: 	Cannulated 4.5mm - Titanium	30 - 70mm	$450.00

Herbert Bone Screw

ZI181	Zimmer Internal Fixation Systems: 	Cannulated 6.5mm - Titanium	25 mm - 100mm	$490.00

Herbert Bone Screw

DT, CN

Orthotech Pty Ltd

OH343	Unima Screw	Foot screw 7.2	7.2 x 50-120mm	$450.00	$495.00

OH344	Unima Screw	Foot screw 4.5	4.5 x 30-50mm	$450.00

Wright Medical Australia

WR034	Charlotte Foot & Ankle System	Multi use compression screw, 	3.0 & 4.3mm dia. 10-60mm in 	$400.00

cannulated, stainless steel	2mm increments

DT, CN, LK

Synthes Australia Pty Ltd

SY074	AO/ASIF Screws Steel	Cannulated screws	≥4.50mm	$313.00

LK

Austofix

AX021	S2 Nail System	6.2mm condylar screws	6.5mm x 60-85mm	$175.00

AX053	Tectona Hip Plate - Locking Screw	Locking screw, self tapping	5.0mm, lengths 28-46mm	$180.00

B Braun Australia Pty Ltd

BB303	Position HTO Implant System - Locking	Titanium cancellous and cortical screw, 	30mm-78mm x 4.5mm & 	$223.00	$550.00

Screws	locking head for solid plate fixation.	6.0mm diameter.

ConMed Linvatec Australia Pty Ltd

LV013	Soft Tissue Anchoring Implant - 	Soft Tissue Re-attachment - Titanium	30 -  80mm	$175.00

Cortical Screw

Prostheses List by Category, Groups and Sponsor	Page 720 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LV014	Soft Tissue Anchoring Implant - 	Soft Tissue Re-attachment - Titanium	25 -  65mm	$200.00

Cancellous Screw

Johnson & Johnson Medical Pty Ltd

JJ680	Polyax Plating System	Cortical Locking Screw, Titanium	8-60mm	$220.00

JJ683	Polyax Plating System	Polyaxial Cancellous Locking Screw, 	25-100mm	$220.00

Titanium

JJ685	Polyax Plating System	Cancellous Locking Screw, Polyaxial, 	50-100mm	$220.00

Titanium

JJ723	ALPS LFS	Cancellous Titanium locking screws	26-100MM	$185.00

JJ725	ALPS LFS	Cortical Titanium locking screws	8-100MM	$185.00

JJ731	ALPS Distal Tibia	Polyaxial Titanium locking screws	20-60mm	$170.00

Lifehealthcare Pty Ltd

LH254	 Total Wrist Implant System	Carpal Screws	15, 18, 22, 26, 30mm	$131.00

Smith & Nephew Surgical Pty Ltd

SM150	Peri-Loc PFP	Proximal Femur Locking Screw - 360L 	60MM X 22MM THRD - 	$244.00

stainless steel	130mm X 22MM THRD

60mm X Full Thread - 130mm

SN768	Peri-Loc	Fixation Device, Internal, Locking, 	4.0mm -5.0mm	$150.00

Stainless Steel, Cortical & Cancellous

SN769	Peri-Loc	Fixation device, internal, locking and non-	5.7mm	$150.00

locking, stainless steel, cortical and

cancellous screw

Stryker Australia Pty Ltd

HW260	Wichita Fusion Nail System	Transverse Screw -  Vitallium	30-60mm in 5mm increments	$181.00

Zimmer Pty Ltd

ZI548	Zimmer Universal Locking System	2.7mm Universal Locking Screw	Length:8mm; 10mm; 12mm; 	$170.00

14mm; 16mm; 18mm; 20mm;

22mm; 24mm; 26mm; 28mm;

30mm; 32mm; 34mm; 36mm;

38mm; 40mm; 42mm; 44mm;

46mm; 48mm; 50mm; 55mm;

60mm

Prostheses List by Category, Groups and Sponsor	Page 721 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LK, CN

Johnson & Johnson Medical Pty Ltd

JJ682	Polyax Plating System	Polyaxial Cancellous Cannulated Locking 	25-90mm	$250.00

Screw, Titanium

LK, DT

Tornier Pty Ltd

TO046	Aequalis Reversed Shoulder - Fixation 	Titanium	D45mm, L20 to 50mm	$296.00

Screw for Articular Implant

Locking

Exactech Australia

EX046	Equinoxe Compression Screw	The compression screw compresses the 	4.5x18mm white, 4.5x22mm 	$145.00

glenoid plate to the bone while providing 	black, 4.5x26mm orange,

30 degrees of angular variability	4.5x30mm blue, 4.5x34mm red,

4.5x38mm green, 4.5x42mm

yellow, 4.5x46mm purple

EX047	Equinoxe Glenosphere Locking Screw	The Locking Screw locks compression 	one size	$145.00

screws to the glenoid plate at a variable

Locking, Cannulated

Tornier Pty Ltd

TO051	Aequalis Humeral Nail Screws	Screws for Aequalis Humeral Head. 	Proximal Screws length: From 	$95.00

Cannulated Proximal screws: 5mm 	36 to 60 every 4mm Distal

Diameter cannulated Ti, PE insert with 	Screws length: From 20 to 32

thread inside. Distal screws 4.5mm

Group 17c: Small – 2.71 – 4.49mm

Austofix

AX042	VRP Distal Radius Fixation System, 	3.5mm Cortical Screw, Titanium	3.5mm diameter, 10mm-20mm 	$67.00

3.5mm Cortical Screw, Titanium	lengths

AX052	Tectona Hip Plate - Compression Screw	Comprssion screw, sterile packed	Length 36mm. For compression	$50.00

with Tectona Lag Screw

Dj Orthopaedics Pty Ltd

DD037	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm	$225.00

Global Orthopaedic Technology

GO153	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm	$225.00

Prostheses List by Category, Groups and Sponsor	Page 722 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DP040	Bone Screw	Screw Cancellous Titanium	Diameter 4.5-6.5mm	$91.00

DP597	Small / Large  Fragment Set	Solid Cortical Screw Titanium	3.5 - 6.5mm; 10 - 120mm Length	$98.00	$140.00

DP638	Small / Large  Fragment Set	Solid Cancellous Bone Screw Full Thread	4mm Dia 50-110mm Length	$180.00

Titanium

DP654	Small / Large  Fragment Set S/S	Cortical Screw Diameter - Stainless Steel	3.5 or 4.5 x 12 - 48mm Length	$15.00

JJ633	HI S3 Shoulder Fixation System	Set Screw, 90 Deg Locking 	One size	$213.00	$220.00

Lifehealthcare Pty Ltd

LH307	HemiCAP Contoured Articular 	Fixation Screw - Titanium	Fixation component for 25mm, 	$1,545.00	Used with Billing code TB306

Resurfacing Shoulder System	30mm, 35mm, 40mm Artuclar

Components Screw 10.5mm Dia

& 12.5mm Dia & 13.7mm Dia

LH323	I.T.S. Volar Angle Locking Plate (VAL)	Cancellous Stabilization Screw	D=3.5mm, Length = 14mm-	$157.00

30mm (with incremental of 2)

LH373	Stability Sigmoid Notch Total DRUJ 	The Sigmoid Notch Radial Screw is a low	The Sigmoid Notch screw is 	$250.00

System / Sigmoid Notch Screw	 profile self tapping cortical screw made 	available in 2mm increments

of implantable CoCr.  It is designed to be 	from 18mm - 32mm and has a

placed bi cortical in the radius and is 	diameter of approx 4mm.

introduced into the Radial stem thru a

hole.  It is placed into the stem and

LMT Surgical Pty Ltd

LM075	Surgicraft Bone Screws	Surgicraft Bone Screws	2-4mm diameter/10-40mm length	$145.00

Orthotech Pty Ltd

OH337	EOS Footset-Antares	Footscrew	12-34mm	$210.00	$480.00

Smith & Nephew Surgical Pty Ltd

SN002	TC 100 3.5mm Cortical Screws	Hex, Cruciate or Self Tapping	45 - 85mm	$38.00

SN007	TC 100 3.5mm Cortical Screws	Sterile, Hex or Cruciate	10 - 40mm	$15.00

SN606	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	10 - 20mm	$14.00

SN607	TC 100	4mm Cancellous Screw	22 - 50mm	$16.00

SN609	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	 55mm +	$21.00

SN612	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	85mm +	$70.00

SN621	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	10 - 40mm	$22.00

SN625	TC 100 Screw	Malleolar Bone Screw, Sterile	25x12mm - 70x32mm	$30.00

Prostheses List by Category, Groups and Sponsor	Page 723 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN765	Peri-Loc	2.7mm & 4.0mm Non Locking Screw	10 - 80mm	$50.00

SN766	Peri-Loc	Fixation Device, Internal, Non-Locking, 	3.5mm	$50.00

Stainless Steel, Cortical & Cancellous

Screw  Size: 3.5mm

SN792	Peri-Loc	Fixation Device, Internal, Locking and 	4.0mm, 80mm - 100mm length	$70.00

Non-Locking, Stainless Steel, Cortical &

Cancellous Screw

SN833	Peri-Loc UE	Self Tapping Cortex Non Locking Screw	2.5mm, 10-30mm length	$50.00

Stryker Australia Pty Ltd

SK049	Stryker Plating System	Cancellous bone screws	 4.0mm diameter, 8 - 150mm 	$50.00

lengths

SK105	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 10-	$15.00

SK106	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 22-	$19.00

SK107	Stryker Plating System	Cortical bone screws	3.5mm diameter, 40 - 150mm 	$28.00

lengths

SK452	Stryker Plating System	Self-Tapping/Cortical Sterile Screws	2.7mm - 4.5mm Diameter	$90.00

Stainless Steel or Titanium Alloy	8mm - 150mm Length

ST003	Stryker Plating System Screws - 	Stainless Steel/Titanium	Diameter 2.7mm, screw length 	$19.00

Cortical 2.7 & 3.5	8-20mm

ST006	Stryker Plating System Screws - 	Stainless Steel or Titanium, Full or Partial 	10-60mm Screw Length	$70.00

Cancellous 4.0mm	Thread

Surgical House

SU116	Hintegra Total Ankle Prosthesis	Cortical fixation screw, Composition - 	Length 12 - 42mm	$100.00

Stainless Steel

SU196	Calcanea Variable Angle Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm 	$159.00

to 45mm

Synthes Australia Pty Ltd

SY056	Cortex Screws	2.7mm - 5.0mm diameter, 5mm 	$93.00

- 150mm length

SY068	AO/ASIF Screws	Cancellous,- ligament, bunionectomy, full	4.0mm dia / 10 - 105mm	$91.00

& short thread

SY353	Cortex Screws	Cortex Screws pack of four	2.7mm - 5.0mm diameter, 	$371.00

5.0mm - 100mm Length

Prostheses List by Category, Groups and Sponsor	Page 724 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI150	Periarticular Plates	Periarticular 4.0mm Cancellous Screws - 	Part thread - 30-60 mm, Full 	$105.00

Stainless Steel	thread 30-110 mm

ZI152	Periarticular Plates	Periarticular 3.5mm Self Tapping Screws	10 - 80mm	$136.00

- Stainless Steel

ZI202	Zimmer ECT Screws	3.5mm Cortical Screws	10 - 130 mm	$60.00

ZI203	Zimmer ECT Screws	4.0mm Cancellous Screws	10 - 60 mm	$80.00

AB

ConMed Linvatec Australia Pty Ltd

LV066	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 6 - 10mm	$267.00	$345.00

LV067	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 12 - 20mm; 	$288.00	$365.00

Dia 2.7mm, length 6 -24mm

AB & DT

Device Technologies Australia Pty Ltd

DE272	Bio-Compression Screw System	Fixation Device	16mm, 18mm, 20mm, 22mm, 	$425.00	$850.00

24mm, 26mm

AB, CN

LMT Surgical Pty Ltd

LM089	BioComposites Little Grafter	An absorbable cannulated compression 	4mm diameter varying lengths 	$380.00	$560.00

screw providing fixation for small bone 	13mm to 27mm

Cannulated

Darco Australia

DC036	Darco Headed Compression Screw 	Cannulated titanium compression screws	3.5mm x 8-60mm; 4.0mm x 8-	$165.00	$425.00

System 3.5, 4.0	60mm

LMT Surgical Pty Ltd

LM098	Extremity Medical Compression Screw 	Compression Screw for fixation across 	3.0mm, 4.5mm, 6.5mm	$286.00	$440.00

System	fragments

Cannulated, Double threaded

Orthopaedic Solutions Pty Ltd

OE016	NexFix 3.0mm Compression Screw	The NexFix Compression Screw is a 	3.0mm diameter x 10 - 34mm 	$196.00	$325.00

stainless steel, cannulated, self tapping, 	length in 2mm increments

and self drilling fixation device for

osteotomies, fusions and fracture fixation

Prostheses List by Category, Groups and Sponsor	Page 725 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CN

Johnson & Johnson Medical Pty Ltd

DP593	Small / Large  Fragment Set	Cannulated Cancellous Screw 	4mm or 16mm or 32mm 	$227.00

Thread, 26-120mm Length

DP635	Small / Large  Fragment Set	Solid Cancellous Lag Screw  Partial 	4mm Dia 10-60mm Length	$227.00

Thread Titanium

DP640	Small / Large  Fragment Set	Cancellous Cannulated  Lag Screw Partial	4mm 10 to 70mm Length	$225.00

Thread

DP643	Small / Large  Fragment Set	Cannulated Cancellous Screw Full 	4 x 10 -100mm Length	$186.00

Threaded - Stainless Steel

JJ715	ALPS SFS	Cannulated Cancellous Titanium Bone 	10-70MM	$175.00

Smith & Nephew Surgical Pty Ltd

SN642	Cannulated Screw	2.5mm - 4.0mm Screw	2.5mm - 4.0mm Diameter  8 -	$140.00

70mm length

Surgiplas Medical

SP037	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (10 x 28)mm; 4.0mm 	$210.00	Only to be funded where used in

x (12 - 30)mm	a service for which a Medicare

Benefit is payable.

SP038	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (30 x 40)mm; 4.0mm 	$250.00	Only to be funded where used in

x (32 - 52)mm	a service for which a Medicare

Benefit is payable.

Synthes Australia Pty Ltd

SY049	AO/ASIF Screws	Mini cannulated screw	3.0mm dia / 8 - 40mm length	$179.00

SY071	AO/ASIF Screws Steel	Cannulated screws	2.7mm-4.49mm	$175.00

SY072	AO/ASIF Screws Steel	Cannulated screws	1/3 thread & long thread / 10 - 	$165.00

50mm /4.0mm cannulated

Wright Medical Australia

WR068	Cannulated Screw	Titanium cannulated screw intended for 	3.5mm diameter x 34, 36 & 	$155.00

use in conjunction with a plate for

fixation of midfoot fusion

Zimmer Pty Ltd

ZI177	Zimmer Internal Fixation Systems: 	Mini Magna-FX - Stainless Steel	4 & 5mm diameters	$216.00

Cannulated Screw

Prostheses List by Category, Groups and Sponsor	Page 726 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CN, DT

Surgiplas Medical

SP054	ExtremiFix Screws	Headless Cannulated Compression Screw	Diameter 2.0mm, 2.4mm, 	$425.00	$485.00

3.0mm, 4.0mm. Length 10mm

DT, CN

Integra Neurosciences Pty Ltd

IG057	Kompressor	Titanium compression screw	10-34mm	$425.00

LMT Surgical Pty Ltd

LM029	Kompressor	Titanium compression screw	10-34mm	$425.00

LM052	Ascension Compression Screw	Titanium Compression Screw	2-5mm diameter ; 12 - 40mm 	$425.00

Smith & Nephew Surgical Pty Ltd

SM173	Peri-Loc	Headless Cannulated Screw	3.0mm Headless Cannulated 	$286.00	$425.00

Screw 8mm - 40mm

Surgical House

SU006	Bold Compression Screw	Cannulated titanium	3mm diam 10-34mm length	$286.00

SU007	ICOS Screw: Ideal Compression Screw	Cannulated titanium	4.0mm diam 26-60mm length, 	$412.00

6.5mm diam 40-150mm length

SU208	Bold Compression Screw (Sterile)	Cannulated Titanium	10-34mm	$286.00

SU222	Qwix Screw	Self drilling, self tapping, cannulated, 	Diameter 3.0mm-7.5mm, length 	$286.00

titanium screws.	10mm-120mm

Surgical Specialties

SQ017	CBS Screw	Titanium Compression Screw, 	1-1.5mm	$410.00

Wright Medical Australia

WR062	Scarf	Compression screw designed for forefoot	3.2mm diameter x 10-32mm	$286.00

reconstructions, 1.1mm cannulated,

titanium, self tapping, self drilling, wide

thread for osteoporotic bone, long

threadless section for high compression.

LK

Austofix

AX003	Austofix Intramedullary Screws	Humeral Head Screw, stainless steel	4.3mm	$105.00	$145.00

Johnson & Johnson Medical Pty Ltd

JJ627	HI S3 Shoulder Fixation System	Peg, Standard Stainless Steel	4mm x 20mm - 65mm	$140.00	$254.00

Prostheses List by Category, Groups and Sponsor	Page 727 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ628	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 20mm - 65mm	$150.00	$265.00

JJ629	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 37.5mm	$160.00	$265.00

JJ630	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 40mm, 45, 47.5mm, 	$167.00	$265.00

50mm, 52.5mm, 55mm,

57.5mm, 60mm, 62.5mm,

JJ631	HI S3 Shoulder Fixation System	Screw, Multidirectional Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30,	$231.00	$265.00

32, 34, 36 & 38

JJ632	HI S3 Shoulder Fixation System	Screw, 90 Deg Locking Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30,	$185.00	$265.00

32, 34, 36 & 38

JJ717	ALPS SFS	Cortical Locking Titanium Bone Screws	6-70MM	$170.00

Lifehealthcare Pty Ltd

LH324	I.T.S. Volar Angle Locking Plate (VAL)	Cortical Screw	D=3.5mm, Length=14mm-	$53.00

24mm (with incremental of 2)

LH420	SBi Precise SD Screw	An anatomically contoured locking 	2.7mm Cortical, Locking, Self-	$93.00

titanium plate and titanium alloy 	Tapping 10-30mm

screw/peg system intended for fixation of	2.7mm Cortical, Non-Locking,

distal radius fractures via open reduction	Self-Tapping 10-30mm

2.7mm Lag, Non-Locking, Self-

Tapping 10-30mm

3.5mm Cortical, Locking, Self-

Tapping 8-20mm

3.5mm Cortical, Non-Locking,

Self-Tapping 8-20mm

LH421	SBi Precise SD Smooth Peg (Locking)	An anatomically contoured locking 	1.9mm Smooth Pegs, Locking 	$93.00

titanium plate and titanium alloy 	12-28mm

screw/peg system intended for fixation of

distal radius fractures via open reduction

LMT Surgical Pty Ltd

LM063	ArgoMedical Pedofix	Titanium screws	2.7mm x 8 - 28mm Length	$50.00

LM069	Normed Foot screws	Titanium plates, various sizes and shapes	multiple	$50.00

LM093	New Clip Titanium Bone Screws	Titanium Screws for fixation of plates to 	4 mm diam x10mm length to 	$145.00	$180.00

4mm 32mm and 4.5mm 10mm

Orthopaedic Solutions Pty Ltd

OE007	Nexfix MTP Fusion System	Unique low profile stainless steel locking 	3.2mm x 12mm, 14mm, 16mm,	$130.00

screw for use with NexFix MTP Fusion 	 18mm, 20mm

plates,  indicated for use in osteoporotic

Prostheses List by Category, Groups and Sponsor	Page 728 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN790	Peri-Loc	Fixation Device, Internal, Locking, 	3.5mm, 10mm - 85mm length	$130.00

Stainless Steel, Cortical & Cancellous

Stryker Australia Pty Ltd

SK395	Stryker Plating System	SPS Locking Plate System	Locking Screws:  3.0mm - 	$185.00

6.5mm diameter

SK464	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 1.2 to 2.7mm, Length 	$140.00

2mm to 48mm

SR073	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 2.7 to 3.5mm, Length 	$235.00

10mm to 70mm

Surgical House

SU195	Calcanea Locking Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm 	$235.00

to 45mm

Surgiplas Medical

SP050	The Radius Plating System - Screws	The Radius System - 2.7-3.0mm diameter	2.7-3.0mm diameter screws, 8-	$140.00

Locking anchor, cancellous, bone 	38mm length.

LK, CN

Surgical House

SU187	Newdeal Screws/Lock Screws	Screws - Cancellous, Cancellous 	Cancellous/Cancellous 	$180.00

cannulated, cortical, cortical cannulated 	cannulated - Diameter 6.5mm,

Length 20mm - 100mm + Lock

Screw, Cortical - Diameter

5.0mm, Length 25mm - 45mm

+ Lock Screw, Cortical -

Diameter 4.5mm, Length 14mm

- 65mm + Lock Screw, Cortical

- Diameter 3.5mm, Length

14mm - 32mm + Lo

SU221	Newdeal Surfix Style Screws	Titanium bone screw +locking screw for 	Diameter 3.5mm, Length 10-	$180.00

the fixation of specific Newdeal bone 	50mm; Diameter 4.5mm, length

14-65mm; Diameter 6.5, length

20-100mm

Prostheses List by Category, Groups and Sponsor	Page 729 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LK, DT

Tornier Pty Ltd

TO032	Aequalis Humeral Plate Screws	Proximal humeral plate screws 	Proximal locking screws: 4mm, 	$140.00

(Cancellous self-tapping locking screws, 	cortical self tapping locking

Cortical self-tapping locking screws or 	screws: 20 to 60mm length;

Cortical Self-tapping compression screws)	proxmial inferior locking

screws: 3.5mm, cortical self

tapping locking screws: 10 to

40mm length; distal

compression screws: 3.5mm,

cortical self-tapping

compression and locking

screws: 10 to 50mm length

Locking

Darco Australia

DC034	Charlotte Claw Locking Screws	3.5mm stainless steel locking screws for 	3.5mm: 14-40mm	$90.00

use with Claw Plate

LMT Surgical Pty Ltd

LM096	Memometal Anchorage Bone Screws	Bone Plate Screws, locking and non-	3.0-3.5mm diameter, 8-40mm 	$38.00	$50.00

length

Group 17d: Mini - ≤2.7mm

Advanced Surgical Design & Manufacture Ltd

AE080	Carpal Fusion System Screw	316L Stainless Steel, Low Profile Custom	2 - 7 mm Diameter 12 - 24mm 	$440.00

Thread Screw	Length

Biomet Australia Pty Ltd

BI768	Mandibular Fracture System	Screw, IMF 2./2.4 Mandibular Fracture, 	2.0 x(5 - 13)mm	$47.00	Only to be funded where used in

Titanium	a service for which a Medicare

Benefit is payable

Device Technologies Australia Pty Ltd

DE214	Cortical Screw	Titanium	10-24mm x 2.3mm	$110.00

Johnson & Johnson Medical Pty Ltd

DP837	Peak Channelled Plate System	Cortical Bone Screw	3.5mm	$70.00	$118.00

JJ783	ALPS Hand Fracture System - CoCr 	Locking pegs & screws, threaded, partly 	10 - 2.5mm x 4 - 40mm	$170.00

threaded, CoCr

Prostheses List by Category, Groups and Sponsor	Page 730 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ784	ALPS Hand Fracture System - Titanium	Pegs, threaded, partly threaded, titanium	1.0 - 2.5mm x 4 - 40mm	$107.00

Pegs

Lifehealthcare Pty Ltd

LH334	Carpal Screw	Titanium	2.5mm diameter in sizes 12mm -	$125.00

20mm length

Orthopaedic Solutions Pty Ltd

OE010	Nexfix MTP Fusion System	Unique low profile stainless steel locking 	2.7mm x 12mm, 14mm, 16mm,	$96.00

screw for use with NexFix MTP Fusion 	 18mm, 20mm, 24mm, 28mm

plates, indicated for use in normal bone

Orthotech Pty Ltd

OH335	EOS Footset - Entos	Footscrew	11-14mm	$425.00	$450.00

Smith & Nephew Surgical Pty Ltd

SM172	Peri-Loc	2.0mm Twist-Off Screw	2.0mm Twist-Off Screw 8mm, 	$286.00	$320.00

2.0mm Twist-Off Screw

10mm, 2.0mm Twist-Off

Screw 12mm, 2.0mm Twist-

Off Screw 14mm, 2.0mm

Twist-Off Screw 16mm,

SN082	TC 100 2.7mm Cortical Screws	Hex, Cruciate or Self-tapping	6 - 55mm	$16.00

SN112	TC 100 2.0mm Cortical Screws	Self Tapping, Hex or cruciate	6 - 38mm	$19.00

SN540	TC 100 1.5mm Screw	Hex, Cruciate or Self-tapping	6-24mm	$13.00

Stryker Australia Pty Ltd

SK103	Stryker Plating System	Cortical bone screws	2.7mm diameter, 22 - 80mm  	$28.00

lengths

Surgical House

SU008	Spin Screw: Snap Off Screw	Titanium	Diameter 2mm, Length 11-	$286.00

14mm; Diameter  2.7mm,

Various Lengths; Diameter

3.0mm, Various Lengths

SU206	Spin Screw: Snap Off Screw (Sterile)	Titanium	Diameter 2-3mm, Length 10-	$286.00

Surgiplas Medical

SP051	CONTOUR Hand Screws	Screws	1.2, 1.7 and 2.3mm in diameter 	$67.00

screws ranging between 4 and

24 mm in length.

Prostheses List by Category, Groups and Sponsor	Page 731 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Synthes Australia Pty Ltd

SY065	Cortex Screw	Cortex Screw	≤2.7mm	$67.00

SY352	Cortex Screws	Cortex Screws pack of four	1.00mm 2.6mm diameter, 5mm 	$268.00

- 100mm length

Zimmer Pty Ltd

ZI199	Zimmer ECT Screws	1.5mm Cortical Screws	6 - 18mm	$54.00

ZI200	Zimmer ECT Screws	2.0mm Cortical Screws	6 - 24mm	$52.00

ZI201	Zimmer ECT Screws	2.7mm Cortical Screws	6 - 50mm	$54.00

Absorbable

Orthopaedic Solutions Pty Ltd

OE022	Activa Screw	The Activa Screw is a bioresorbable 	2.7mm x 10, 12 , 14 , 16, 20 & 	$225.00	$380.00

device that maintains accurate alignment 	24mm

of bone fractures, osteotomies,

arthrodeses, bone grafts and

osteochondral fractures after surgical

procedure. The Activa Screw possess'

rigidity similar to bone which decreases

during the healing process, transferring

the load gradually to the bone. The

fixation material decomposes and the site

of implantation is replaced with new

Cannulated

Darco Australia

DC035	Darco Headed Compression Screw 	Cannulated titanium compression screws	2.7mm x 8-34mm	$140.00	$425.00

System 2.7

Cannulated, Double threaded

Orthopaedic Solutions Pty Ltd

OE017	NexFix 2.5mm Compression Screw	The NexFix Compression Screw is a 	2.5mm diameter x 10 - 34mm 	$196.00	$293.00

stainless steel, cannulated, self tapping, 	length in 2mm increments

and self drilling fixation device for

osteotomies, fusions and fracture fixation

CN

Surgiplas Medical

SP035	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (6 - 16)mm; 2.4mm x 	$220.00	Only to be funded where used in

(6 - 20)mm	a service for which a Medicare

Benefit is payable.

Prostheses List by Category, Groups and Sponsor	Page 732 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SP036	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (18 - 42)mm; 2.4mm 	$260.00	Only to be funded where used in

x (22 - 50)mm	a service for which a Medicare

Benefit is payable.

Synthes Australia Pty Ltd

SY321	AO/ASIF Screw	2.4mm Cannulated Screw	Short thread 15-40mm; Long 	$165.00

Thread 5-35mm

DT

LMT Surgical Pty Ltd

LM082	Fixos Screws	Bone Fixation Screws	2mm diam. X11mm lenth to 	$286.00	$425.00

2mm x 16mm

Zimmer Pty Ltd

ZI178	Zimmer Internal Fixation Systems: 	Scaphiod - Titanium	Scaphoid - 12 - 30mm length	$360.00

Herbert Bone Screw

ZI179	Zimmer Internal Fixation Systems: 	Herbert/Whipple - Titanium	12 mm - 30 mm	$420.00

Herbert Bone Screw

DT, CN, LK

Orthotech Pty Ltd

OH336	EOS Footset-Pyxis	Footscrew	11-28mm	$210.00	$450.00

LK

Austofix

AX043	VRP Distal Radius Fixation System, 	Threaded, non-threaded, partially 	2.0, 2.5, 2.6mm diameter, 	$120.00

Threaded, mpm-threaded, partially 	threaded locking, non-locking screw, 	14mm-30mm lengths

threaded locking, non-locking screw,

Biomet Australia Pty Ltd

BI929	Sternalock	Screws Ti	2.4-2.7mm x 8-12mm	$44.00

Johnson & Johnson Medical Pty Ltd

JJ622	Distal Radius Fracture Repair System	Locking peg, threaded, partly threaded, 	2.5mm x 14-40mm	$125.00

smooth, titanium/cobalt chrome

JJ623	Distal Radius Fracture Repair System	Locking cortical bone screw, titanium	2.5mm-3.5mm x 10-28mm	$107.00

LMT Surgical Pty Ltd

LM041	Trimed Bearing Plate, Fixation Pegs	The fixation pegs are made of medical 	Pegs - 2.3 x 10-34mm Threaded	$140.00

grade 316 stainless steel	 or unthreaded pegs

LM048	Ascension Radial Head Locking Plate 	Titanium pre-formed anatomical radial 	10mm - 40mm	$160.00

and screws	head Screws

Prostheses List by Category, Groups and Sponsor	Page 733 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LM061	BioTech Xpode 4	Screws titanium	6 - 70mm length	$180.00

Medical & Optical Instruments Australia Pty Ltd

MO153	Acumed Congruent Plate System	Screw Titanium	2.1, 2.7, 3.5, 4.0mm diameter, 	$94.00

6mm to 28mm length

MO249	ACU- LOC Distal Radius Plate System	Threaded, non-threaded, locking, non-	2.3mm / 3.5mm diameter, 14-	$145.00

locking screw, peg, Titanium	32mm length

Smith & Nephew Surgical Pty Ltd

SN832	Peri-Loc UE	Self Tapping Cortex Locking Screw	2.5-2.7mm, 10-60mm length	$130.00

Stryker Australia Pty Ltd

SK369	Stryker Locking Plate System	Variax Screws and Pegs	1.7 - 3.5mm diameter 10 - 	$125.00

70mm long

SK392	Stryker Locking Plate System	Svariax  Screws & Pegs	1.7mm - 3.5mm diameter 10mm	$125.00

- 50mm long

Synthes Australia Pty Ltd

SY320	AO/ASIF Screw	Locking Head Screw 2.0mm	Length: 6-40mm	$144.00

Wright Medical Australia

WR030	Evolve Locking Cancellous Bone 	The Evolve stainless steel locking screw	2.0mm x 14 - 28mm	$100.00

Locking

Darco Australia

DC032	Charlotte Claw Locking Screws	2.7mm stainless steel locking screws for 	2.7mm, 12-30mm	$90.00

use with Claw Plate

Group 17e: Screw Washers

Austofix

AX027	Austofix Femoral & Tibial Nailing System	Washer for screws; s-s	Dia 11mm & 13mm	$110.00

ConMed Linvatec Australia Pty Ltd

LV011	Soft Tissue Anchoring Implant - Spiked 	Soft Tissue Re-attachment - Titanium	1.3 x 14mm -  2.5 x 20mm	$335.00

Washer

LV012	Soft Tissue Anchoring Implant - Flat 	Soft Tissue Re-attachment - Titanium	14, 17mm	$162.00

Johnson & Johnson Medical Pty Ltd

DP646	Small / Large  Fragment Set	Washer Titanium - Flat/Cup/Countersink	One size only	$23.00

DP759	Small / Large Fragment Set S/S	Washer Spiked, Standard, Cancellous, 	One size only	$14.00

Cortical & Fastening Wire

Prostheses List by Category, Groups and Sponsor	Page 734 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ719	ALPS SFS	Flat and cupped Titanium washers	Flat and cupped	$85.00

JJ728	ALPS LFS	Flat and cupped Titanium washers	4.5-6.5mm	$85.00

LMT Surgical Pty Ltd

LM001	TriMed Wrist Fixation System	Washer	.	$115.00

LM066	TriMed Olecranon Sled	Washer	one size	$200.00

LM081	Surgicraft Washers	Fixation Washers	0.5-3mm	$103.00

Medical & Optical Instruments Australia Pty Ltd

MO158	Polarus Humeral Rod System	Polarus Washer	3.5mm	$20.00

Orthopaedic Solutions Pty Ltd

OE019	NexFix Washer	The NexFix Washer is a threaded circular	9mm, 11mm, 13mm	$14.00	$45.00

piece of stainless steel through which is

inserted a NexFix Compression Screw.

The Compression Screw is locked to the

washer to form a headed screw that will

increase bone coverage and prevent the

screw from sinking into osteopenic bone.

Smith & Nephew Surgical Pty Ltd

SN449	Washer	Screw washers	2, 7/3, 7/4, 0/4.5	$32.00

SN450	Washer	For Cannulated screw systems, Titanium	One size only	$49.00

SN626	TC 100 Washers	Stainless Steel	7-13mm	$14.00

SN627	TC 100 Washers	Titanium Non Sterile	4.5mm -13mm	$23.00

SN628	TC 100 Washers	Titanium Sterile	4.5mm -13mm	$47.00

Stryker Australia Pty Ltd

ST040	Stryker Plating System - Washers & 	Stainless Steel or Titanium	Nuts 5.0 or 4.5mm thickness; 	$18.00

Washers 7 - 13mm diameter

Synthes Australia Pty Ltd

SY092	AO/ASIF K-Wires, Pins, Washers etc.	Washers/nuts	1.0mm - 16mm dia	$103.00

Wright Medical Australia

WR060	Ring washer	Screw Washers	2.7/3.7/4.0/4.5	$45.00

Zimmer Pty Ltd

ZI210	Zimmer Large-Frag System	Washer/Spiked washer	Small & Large	$43.00

Prostheses List by Category, Groups and Sponsor	Page 735 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CN

Stryker Australia Pty Ltd

HW298	Asnis Guided Screw System	Washer, Stainless Steel	One size only	$39.00

HW299	Asnis Guided Screw System	Washer -  Titanium	4, 5, 6.5,8mm	$46.00

Group 17f: Other

Biomet Australia Pty Ltd

BI829	EBI XFIX Vision System	Screw, Transfixing, Stainless steel	4 - 6mm diameter	$410.00	Temporary approval pending

review of product group in Feb

BI834	EBI XFIX DynaFix System	Screw, VS Osteotomy System, Ti	6mm x (30mm-110mm)	$131.00

Device Technologies Australia Pty Ltd

DE077	Cancellous Bone Screws	Low Profile	4-6.5mm x 14-60mm	$211.00

DE128	Cortical Screw	Self locking screws, cancellous and 	3-6.5mm x 10-110mm	$230.00

DE291	QuickFix Screw	Small Bone Fixation - Metal	2mm x 10mm, 2mm x 	$425.00

11mm,2mm x 12mm, 2mm x

13mm, 2mm x 14mm, 3mm x

13mm x 3mm x 15mm, 3mm x

17mm, 3mm x 19mm

Johnson & Johnson Medical Pty Ltd

DP883	Barouk SCR Sys Staples and Buttons	Barouk Screw System Button Prosthesis 	8-20mm	$307.00

- SS or Ceramic

DP893	Rockwood Clavical Pin	Nut Clavical Pin S/S	2.5 to 4.5mm	$135.00

Lifehealthcare Pty Ltd

LH343	Percufix	Titanium	Diameter: 2-2.5mm, Length 22-	$390.00

40mm

LMA PacMed Pty Ltd

PM112	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, 	Neck L90 - 140mm; Primary 	$190.00

Locking L20 - 75mm

Prostheses List by Category, Groups and Sponsor	Page 736 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthopaedic Solutions Pty Ltd

OE020	NexFix Compression Pin	The NexFix Compression Pin is a tapered	2.0mm x 10mm, 2.0mm x 	$225.00	$275.00

stainless steel compression pin for use in	12mm, 2.0mm x 14mm, 2.0mm

maintaining alignment and providing 	 x 16mm, 2.7mm x 20mm,

interfragmentary compression of small 	2.7mm x 24mm, 3.5mm x

bones in osteotomies, fusions and

fractures until a stable bony union

occurs. It is self drilling for ease of

insertion and is designed with a variable

pitch and buttress thread to provide

greater compression.

OE025	NexFix Snap-Off Screw	The NexFix Snap-Off Screw System is a 	2.0mm x 11mm, 2.0mm x 	$286.00	$380.00

self-drilling and self-tapping screw 	12mm, 2.0mm x 13mm, 2.7mm

system for fixation of fractures, fusions 	 x 13mm, 2.7mm x 15mm,

and osteotomies. The design allows the

holding device to break off once the

screw head is in contact with the distal

Smith & Nephew Surgical Pty Ltd

SN713	Trigen	Stable-Lok Nut	One Size Only	$346.00

Stryker Australia Pty Ltd

HW259	Wichita Fusion Nail System	Compression Screw -  Vitallium	One size only	$1,152.00

HW297	Asnis Guided Screw System	Guide Pin, Stainless Steel	1.4,2.0,3.2mm	$60.00

Synthes Australia Pty Ltd

SY051	AO/ASIF K-Wires, Pins, Washers	Seldrill	4.0/3.0mm & 4.0 - 6mm / 80 - 	$110.00

250mm L

SY173	AO/ASIF Screws	Self drilling, Self Tapping, Conical 	Diameter 3.5 - 5.0mm, Length 8	$178.00

Locking, Sterile/Non-Sterile	 - 100mm

Wright Medical Australia

WR036	Charlotte Carolina Jones Fracture 	Low profile, solid-core, surgical grade 	4.5mm, 4.5mm, 6.5mm, 40mm-	$400.00

stainless steel screw, partially threatded 	70mm overall screw lengths

with thread length varying

anthropometrically relative to overall

screw length, utilising specialised

instruments for IM placement in the 5th

Zimmer Pty Ltd

ZI209	Zimmer Large-Frag System	Cortical Nut for 4.5mm screw	Small & Large	$40.00

ZI597	NCB Plating System	NCB Spacers & Screw Caps	1, 2 and 3	$145.00

Prostheses List by Category, Groups and Sponsor	Page 737 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AB

Device Technologies Australia Pty Ltd

DE163	Bio-Post & Washers	PLLA composition	Implant 35mm - 50mm, 	$750.00

Washers 16mm

CN

Device Technologies Australia Pty Ltd

DE286	Low Profile Screw System	Low Profile Screw	3.0 - 6.7mm x 18 - 120mm	$310.00

Lifehealthcare Pty Ltd

LH374	AutoFIX	The Sbi AutoFIX Twin Pitch Cannulated 	2.0mm and 2.5mm Cannulated 	$550.00

Compression Screw System implants are 	Compression Screw

indicated in the treatment of fractures,

nonunions, pseudarthrosis and

degenerative changes, as well as

corrective osteotomies geared towards a

functionally stable osteosynthesis

Synthes Australia Pty Ltd

SY076	AO/ASIF Screws Steel	Cannulated implant 	Custom made	$288.00

Zimmer Pty Ltd

ZI448	Cannulated Screw	Ti alloy	One size only	$145.00

CN, DT

LMT Surgical Pty Ltd

LM049	BioTech Compression Screws	Titanium and Stainless compression 	1.7-10mm diameter/10-100mm 	$425.00

length

HA Coated

Biomet Australia Pty Ltd

BI820	EBI XFIX DynaFix System	Screw, HA coated, cortical, cancellous	Dia 2-6mm	$274.00

LK

Surgical House

SU186	Newdeal Lock Screws	For use with Newdeal bone screws and 	Diameter 2.7mm - 6.5mm	$114.00

Synthes Australia Pty Ltd

SY050	AO/ASIF Screws	Plate pin	1.8mm buttress pin 12 - 30mm	$45.00

SY110	AO/ASIF Plates	DHS/DCS locking device screw	One size only	$504.00

Prostheses List by Category, Groups and Sponsor	Page 738 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 18: Pins

AB

Johnson & Johnson Medical Pty Ltd

DP088	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone Fixation Pins 	40 x 1.3mm	$298.00

3 pins per pkt

DP089	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone 3 pins per pkt	40mm x 2mm	$372.00

DP090	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	1mm x 40mm x 1.3mm	$734.00

DP091	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	40 x 2.0mm	$736.00

DP093	Orthosorb Absorbable Pin	Orthosorb -Polydiameterxanone	50 x 1.3mm	$165.00

DP094	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone 2 pins per pkt	40mm x 2.0mm	$291.00

DP095	Orthosorb Absorbable Pin	Orthosorb Arthroscopic Fix-Set - 	40 x 1.3mm	$671.00

Polydiaxanone 5 pins per pkt

Group 18a: K-Wires

Advanced Surgical Design & Manufacture Ltd

AE052	ASDM K-wire	Stainless steel - sterile	Dia 0.7 - 2.5mm, length 100 - 	$11.00	To be funded where any or all K-

230mm	wires used in a procedure are

used as an implant.

B Braun Australia Pty Ltd

BB071	Kirshner Wires all Sizes	Steel	Dia 0.8mm-3.0mm, Length 	$11.00	$30.00	To be funded where any or all K-

70mm-310mm	wires used in a procedure are

used as an implant.

Biomet Australia Pty Ltd

BI857	Kirschner Wires	Stainless Steel wire	(1-3.2mm) diameter x (100 to 	$17.00	To be funded where any or all K-

310mm) length	wires used in a procedure are

used as an implant.

Johnson & Johnson Medical Pty Ltd

DP092	Orthosorb Absorbable Pin	Orthosorb K Wire  - Stainless Steel 	1 x 40mm x 1.3mm Pk 3	$206.00

Tapered Pins

DP793	Small / Large Fragment Set S/S	K/Wire Stainless Steel 	0.8 to 3.0 mm x 6-9" or 150-	$7.00

DP809	Small / Large Fragment Set S/S	K-wire standard	0.2-3.5mm	$30.00

Prostheses List by Category, Groups and Sponsor	Page 739 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH422	SBi K-Wire	K-Wire	1.6mm	$18.00

Medical & Optical Instruments Australia Pty Ltd

MO177	Acutrak Fixation Screw	Wire Kirschner Stainless Steel	0.70mm to 1.6mm diameter, 4 	$20.00	To be funded where any or all K-

to 9in (10.16 to 22.86mm) 	wires used in a procedure are

used as an implant.

Stryker Australia Pty Ltd

HW368	Osteo Kirschner Wire	K wire -  Stainless Steel	Diameter 1.0 - 2.0mm	$11.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

SK117	Leibinger Screws 	Tenxor Kirschner Wires	1.5 - 2.0mm Diameter	$125.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

SK213	Hoffmann II External Fixation System	Hoffmann II Micro	K-wire	$127.00	Temporary approval pending

review of product group in Feb

ST007	Stryker Plating System - K Wires	Stainless Steel or Titanium	150mm length in 1.25, 1.6, 	$18.00	To be funded where any or all K-

2.0mm diameter	wires used in a procedure are

used as an implant.

Surgical House

SU010	K-Wire (Kirschner)	Stainless steel	70mm, 100mm, 200mm length	$40.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

Synthes Australia Pty Ltd

SY087	AO/ASIF K-Wires, Pins, Washers etc - 	K-wire single ended	0.06 - 3.0mm / length 70 - 	$28.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

SY089	AO/ASIF K-Wires, Pins, Washers etc - 	K-wires threaded	0.25 & 15mm / dia .08 - 3.0mm	$72.00	To be funded where any or all K-

& length 70-300mm	wires used in a procedure are

used as an implant.

Trewavis Surgical Instruments Pty Ltd

TS001	Trewavis Surgical Kirschner Wires	Composition: Stainless Steel, Model No: 	Dia 0.7-2.8mm, Length 100-	$11.00	To be funded where any or all K-

200-000-A to 200-930-K	wires used in a procedure are

used as an implant.

Wright Medical Australia

WR063	K Wire	Titanium or stainless steel, single or 	0.9 - 2.0mm	$11.00

double trocar

Prostheses List by Category, Groups and Sponsor	Page 740 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI293	Zimmer Wires	Stainless Steel	Length 23cm, Thickness 2mm, 	$11.00	To be funded where any or all K-

0-4mm, 8mm	wires used in a procedure are

used as an implant.

ZI294	Zimmer Wires	Stainless Steel	Length 7, 6cm - 23cm, 	$11.00	To be funded where any or all K-

Thickness 0mm, 7mm - 2mm, 	wires used in a procedure are

used as an implant.

AB

Johnson & Johnson Medical Pty Ltd

DP039	Orthosorb Absorbable Pin	Orthosorb K-Wire	L300 D2.0mm Thread Each	$17.00

Group 18b: Threaded

Advanced Surgical Design & Manufacture Ltd

AE070	ASDM Steinmann Pin	Steinmann Pin	2.8-5.0mm diameter	$33.00

B Braun Australia Pty Ltd

BB068	Caspar Screws	Stainless Steel	10mm-28mm	$10.00

BB069	Caspar Screws	Titanium	10mm-28mm	$29.00

Biomet Australia Pty Ltd

BI232	Moore Pins	Scan Pin, Stainless Steel	16mm x 51-152mm	$210.00

Medical & Optical Instruments Australia Pty Ltd

MO209	Acumed Congruent Plate System	Threaded K-Wire - Titanium	WT-1606STT: Length 15cm x 	$73.00	To be funded where any or all K-

Diameter 0.62"; WT-0906STT: 	wires used in a procedure are

Length 15cm x Diameter 0.35"; 	used as an implant.

WS-2408STT length 20.32cm x

Diameter 0.24cm

Smith & Nephew Surgical Pty Ltd

SN434	Half Pin	Arrow	4-6mm x 20-80mm	$205.00	Temporary approval pending

review of product group in Feb

SN435	Half Pins	Hex Fix Titanium	4-6mm x 20-80mm	$115.00	Temporary approval pending

review of product group in Feb

SN436	Half Pins	Ilizarov Stainless Steel	4 x 120 -180mm 30mm 35mm -	$247.00	Temporary approval pending

thread   50mm conic	review of product group in Feb

SN437	Hex Fix Pins	Cancellous Crane Pin Threaded	5/8" - 1 1/4"	$133.00	Temporary approval pending

review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 741 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

ST038	Stryker Plating System -  Reduction Pin	4.5mm Diameter, Stainless Steel	One size only	$175.00

ST884	Apex Pins	Stainless Steel Orthopaedic Pins	2 - 6mm	$135.00	Temporary approval pending

review of product group in Feb

Surgical House

SU011	Tac-Pin (Threaded)	Compression pin-titanium	1.7mm diam 15-25mm length	$225.00

AB

B Braun Australia Pty Ltd

BB060	BRAUN AUST Intramedullary Nails	Isosorb Resorbable Fixation Pin	2mmx60mm-3.5mmx80mm	$213.00

Device Technologies Australia Pty Ltd

DE126	Chondral Dart	Polylactide Compositition	Length 18mm	$289.00	$409.00

HA

Stryker Australia Pty Ltd

SK483	HA Apex Pins	HA coated bone screw	4-6mm diameters, various 	$274.00

Group 18c Non-Threaded

Orthopaedic Solutions Pty Ltd

OE026	Nexa Wires/Pins	The Nexa Wires are made of stainless 	0.9 - 2.5mm x 100 - 250mm	$11.00	$30.00

steel and of different lengths depending

on the instrument set. They are used as

guides during the surgery before

implantation of the final screw or implant.

The Nexa Wires are also designed to be

used separately, if required by the

surgeon, and implanted into the patient.

Smith & Nephew Surgical Pty Ltd

SN446	Steinmann Pins	Skeletal Traction Pin-Cove Point	250mm+	$121.00

SN447	Steinmann Pins	Non Threaded, Various Tips	9"x5/64 - 9"x3/16	$25.00

Stryker Australia Pty Ltd

ST890	Steinmann Pins	Stainless Steel	7,9"	$90.00

Trewavis Surgical Instruments Pty Ltd

TS002	Trewavis Surgical Steinmann Pins	Composition:  Stainless Steel, Model Nos:	Dia 3.0 - 5.0mm	$55.00

200 - 950-L to 200-970-Q

Prostheses List by Category, Groups and Sponsor	Page 742 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Zimmer Pty Ltd

ZI323	Zimmer Wires	Stainless Steel Rushpins	Diameter 2.4 - 6.4mm; Length 	$206.00

2.5 - 52.7cm

AB

Arthrocare Australasia Pty Ltd

AF018	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC 	Pin 1.5 & 2 mm dia x 20-50 mm	$185.00

copolymer	 long

Biomet Australia Pty Ltd

BI277	Re-Unite Orthopaedic Bone Pin	Bone Pin, PGA/PLA	(1-4)mm dia x (20-70)mm	$160.00

ConMed Linvatec Australia Pty Ltd

LV050	Bionx Implants - Rods 	PGA, PLA or PLLA	1.5mm x 10-70mm	$250.00	$325.00

LV051	Bionx Implants - Rods 	PGA, PLA or PLLA	2.0mm	$275.00	$350.00

LV052	Bionx Implants - Rods 	PGA, PLA or PLLA	3.2mm x 30-70mm	$300.00	$375.00

LV063	SmartNail	Self-Reinforced 96L/4D PLA Bone 	1.5mm O.D x 16, 20 & 25mm L	$225.00	$431.00

Fixation Nail

LV084	SmartNail	Self-reinforced 96L / 4D PLA Bone 	2.4mm O.D x 16, 25, 35 & 	$220.00

Fixation Nail

LV088	SmartPin Resorbable Bone Fixation Pin, 	Self-Reinforced PLLA	10, 20, 30 & 40mm	$220.00

1.1mm

Device Technologies Australia Pty Ltd

DE273	Trim-IT Spin Pin	Trim-IT  Pin Fixation	1.5 - 2.0mm x 100mm	$350.00

Absorbable

Orthopaedic Solutions Pty Ltd

OE021	Activa Pin	The Activa pin is a bioreabsorbable 	1.5mm x 50mm, 2.0mm x 	$225.00	$350.00

grooved pin device for fixation of bone

fractures, osteotomies, arthrodeses, and

osteochondral fractures. They are

designed to maintain structural function

for up to 8 weeks and to completely

resorb within 2 years, eliminating the

Prostheses List by Category, Groups and Sponsor	Page 743 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 19: Wires/Cables

Group 19a: Wires

Ackermann Australia Pty Ltd

AK004	Kirschner Wires	Kirschner Wire	0.6mm to 3.0mm diameter / 	$9.00

various lengths

Advanced Surgical Design & Manufacture Ltd

AE069	Threaded wires & pins	Threaded wires & pins	1.0-5.0mm diametersvarious 	$89.00

threaded lengths

Johnson & Johnson Medical Pty Ltd

DP683	Small / Large Fragment Set S/S	Cerclage Wire Loop Stainless Steel 	0.8-1.2mm x 280-600	$17.00

Link Orthopaedics  Australia

LO147	Bone Cerclage Wire	Cerclage Wire	Length 470mm, Diameter sizes 	$7.55

of 0.4mm, 0.5mm, 0.6mm,

0.7mm, 0.8mm. Packet size of 10

Smith & Nephew Surgical Pty Ltd

SN440	Ilizarov	Wires	300-370 length x 1-1.8mm 	$69.00	Temporary approval pending

review of product group in Feb

SN451	Wire	Kirschner	Various 1.3 - 304.8mm	$11.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

SN459	Wire	Suture	18Ga - 28Ga	$80.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

SN460	Wire	Cerclage	0.6mmx175mm - 0.8mmx200mm	$14.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

Synthes Australia Pty Ltd

SY257	A/O/ASIF K-wires, Pins, Washers etc - 	Cerclage Wire - coils with and without eye	0.4-2.5mm	$56.00	To be funded where any or all K-

Steel - Sterile & Non Sterile	wires used in a procedure are

used as an implant.

Zimmer Pty Ltd

ZI170	Zimmer Internal Fixation Systems: Cable	Cable-Ready Pin - Stainless Steel	35, 40, 45, 65mm long	$645.00

System

Prostheses List by Category, Groups and Sponsor	Page 744 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Com

Biomet Australia Pty Ltd

BI271	EBI XFIX Dynafix System	Wire Straight or Olive with Washer, 	160 or 200mm x (1.6 or 	$150.00	Temporary approval pending

Chrome Cobalt	review of product group in Feb

LMT Surgical Pty Ltd

LM014	Trimed Marked K-Wire	Stainless Steel	Diameter 0.9 - 1.1mm	$40.00	To be funded where any or all K-

wires used in a procedure are

used as an implant.

Smith & Nephew Surgical Pty Ltd

SN441	Ilizarov	Wires with stopper	300-370 length x 1-1.8mm 	$155.00	Temporary approval pending

review of product group in Feb

Synthes Australia Pty Ltd

SY249	AO/ASIF K Wires, Pins Washers - 	Hybrid Pins - Spade point wires/reduction	1.5, 2.0mm Diameter	$129.00

Steel/Ti Sterile & Non Sterile	 wires

Group 19b: Cables

Biomet Australia Pty Ltd

BI253	BMP Cable System	Cable Chrome Cobalt	1.6mm or 2.0mm	$348.00

BI256	BMP Cable System	Cable, Stainless Steel	1.6mm or 2.0mm	$320.00

Johnson & Johnson Medical Pty Ltd

DP232	Suture Wire	Wire Suture Stainless Steel	10-36G	$101.00

Medical & Optical Instruments Australia Pty Ltd

MO166	Osteo Clage Cable System	CoCr, Stainless Steel Cable	850mm	$336.00

Stryker Australia Pty Ltd

HW309	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable -  Vitallium	1.6 and 2mm	$355.00

Zimmer Pty Ltd

ZI161	Zimmer Internal Fixation Systems: Cable	Cable-Ready Stainless Steel	1.3 mm	$330.00

System

Com

Synthes Australia Pty Ltd

SY377	Orthopaedic Cable System	Cable with Crimp	1.0mm - 1.7mm, 750mm	$650.00

Prostheses List by Category, Groups and Sponsor	Page 745 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 19c: Other

Johnson & Johnson Medical Pty Ltd

DP363	Control Cable	Control Cable sleeve 	One size only	$240.00

Link Orthopaedics  Australia

LO148	Thabe Titanium Cerclage Band with Lock	Thabe Titanium Cerclage Band is crimped	6.0mm wide, 240mm	$450.00	$845.00

at the lock

LO149	Bone Cerclage Band with Lock	The Cerclage Band with a locking 	Complete, length with lock: 	$450.00	$845.00

mechanism consists of a band, 	165mm, width 5mm

manufactured from stainless steel,

165mm long and 5mm wide and a lock

Stryker Australia Pty Ltd

HW303	Dall Miles Cable Grip System - Stainless	Stainless Steel: Cable & Sleeve -  	1.6 and 2mm 	$360.00

Steel	Stainless Steel

HW310	Dall Miles Cable Grip System - Vitallium	Vitallium: Sleeve -  Vitallium	1.6 and 2mm	$225.00

HW315	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve -  Vitallium	1.6 and 2mm	$570.00

Zimmer Pty Ltd

ZI234	Cable System 	Cable Ready, Cable Button	2,5mm - 5,0mm	$183.00

Com

Synthes Australia Pty Ltd

SY378	Trochanteric Reattachment Device	Titanium alloy reattachment device with 	Standard and Long	$2,500.00

cables

Group 2: Sinus Tarsi Implant

Device Technologies Australia Pty Ltd

DE293	Prostop	Arthroereisis Subtalar implant	7x12mm 8x12mm 9x14mm 	$1,300.00

10x14mm 11x16mm 12x16mm

Integra Neurosciences Pty Ltd

IG053	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 	$1,300.00

2mm

Lifehealthcare Pty Ltd

LH454	Horizon Subtalar Implant	Subtalar Screw	6mm, 8mm, 10mm, 11mm, 	$1,300.00

Prostheses List by Category, Groups and Sponsor	Page 746 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LMT Surgical Pty Ltd

LM009	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 	$1,300.00

2mm

Orthopaedic Solutions Pty Ltd

OE005	Futura Conical Subtalar Implant	Titanium	7 - 12	$1,390.00

Surgical House

SU009	Kalix 	Flat foot implant titanium/UHMWP	9 - 17mm diameter	$1,165.00

Wright Medical Australia

WR001	BioArch Subtalar Arthroereisis Implant	Conical, tapered, titanium implant with 	8, 9, 10, 11, 12mm	$1,300.00

blunt thread design.

Group 20: Wire/Cable Accessories

Group 20a: Locking Device

Medical & Optical Instruments Australia Pty Ltd

MO165	Osteo Clage Cable System	CoCr, Stainless Steel Cable Sleeve	2mm	$240.00

Smith & Nephew Surgical Pty Ltd

SN443	Reis	Cable and Swage	1.6 & 2.0mm	$330.00

SN733	Accord	Orthopaedic Cable System, SS Button 	One Size Only	$355.00

Plate Adapter

Group 20b: Other Fixation Devices

Biomet Australia Pty Ltd

BI254	BMP Cable System	Cable Sleeve, Chrome Cobalt, Stainless 	One Size only	$240.00

Medical & Optical Instruments Australia Pty Ltd

MO162	Tension Band Pin	Stainless Steel	50 to 90mm	$156.00

Smith & Nephew Surgical Pty Ltd

SM010	PLUS Endoprothetik Cerclage Systems	CCG Band - Pure Titanium	Length 27cm	$450.00

SM011	PLUS Endoprothetik Cerclage Systems	CCG-GF Band with fixation spikes - Pure	Length 27cm	$625.00

Titanium

SM033	PLUS Endoprothetik Cerclage System	CCG Stabilizer with Band	XS - L	$1,290.00

Prostheses List by Category, Groups and Sponsor	Page 747 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Stryker Australia Pty Ltd

HW302	Dall Miles Cable Grip System - Stainless	Stainless Steel: Trochanter Grip -  	Small, Medium, Large	$545.00

Steel	Stainless Steel

HW311	Dall Miles Cable Grip System - Vitallium	Vitallium: Trochanter Grip -  Vitallium	Small, Medium and Large	$545.00

HW313	Dall Miles Cable Grip System - Vitallium	Vitallium: Grooved Button -  Vitallium	One size only	$240.00

SK400	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 	Small, Medium and Large	$1,400.00

Stainless Steel Cables

SK401	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 	Small, Medium and Large	$1,750.00

Chrome Cobalt Cables

SR072	Dall miles Trochanteric grip with 	stainless steel dall miles trochanteric grip 	small, medium, large  43-53mm	$900.00

divergent hooks	with diverging proximal hooks

Synthes Australia Pty Ltd

SY057	AO/ASIF K-Wires, Pins, Washers etc	Wire mount & spacer	2mm - 6mm	$109.00

Group 21: Staples

Group 21a: Standard

ConMed Linvatec Australia Pty Ltd

LV015	Staple Fixation System	Soft Tissue Re-attachment - Titanium	9.5 - 16.5mm	$160.00

Device Technologies Australia Pty Ltd

DE062	Ligament Staples	Cobalt Chromium Molybdenium Alloy	6mm - 16mm	$135.00

DE292	QuickFix Staple System	Compression Staple for Fusion	8mm 10mm	$235.00

DE295	Compression Staple	Compression staple for fusion	10x10mm 10x15mm 15x10mm 	$390.00	$698.00

15x15mm 20x20mm

Johnson & Johnson Medical Pty Ltd

DP880	Barouk System Staples	TIFLEX Staple  / Pin -  Titanium	1.6 - 2.5 Dia 7-24mm width 	$217.00

13/15-36/50mm Length

Lifehealthcare Pty Ltd

LH375	StaFIX	The StaFIX Staples are retained implants 	6x6, 6x12,8x8, 8x16, 10x10, 	$300.00

and removable used primarily for the 	10x20, 12x24

following applications: Synthesis of

fractures; Synthesis of osteotomies;

Arthrodesis; Reattachment of ligaments ot

tendons.  The aim of the StaFIX staple is

to provide a effective fixation of the bone

Prostheses List by Category, Groups and Sponsor	Page 748 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Wright Medical Australia

WR037	Charlotte Foot & Ankle System	Compression Staple, Stainless Steel	13, 15, 20, 25mm interaxis, leg 	$698.00

lengths 11, 13, 15, 17, 20 &

25mm, 10 Sizes in Total

WR038	Charlotte Foot & Ankle System	Quick Staple, Stainless Steel	One Size Only	$235.00

Com

Orthocare Pty Limited

OC009	Orthomed Osteotomy & Ligament 	Osteotomy Staple.  Cast Chromium-	5mm	$110.00

cobalt non-absorbable. Stainless Steel

non-absorbable. Non-sterile 57-73

OC010	Orthomed Osteotomy & Ligament 	Osteotomy Staple.  Cast Chromium-	10mm	$110.00

cobalt non-absorbable. Stainless Steel

non-absorbable. Non-sterile 57-74

OC011	Orthomed Osteotomy & Ligament 	Osteotomy Staple.  Cast Chromium-	15mm	$110.00

cobalt non-absorbable. Stainless Steel

non-absorbable.  Non-sterile 57-75

OC012	Orthomed Osteotomy & Ligament 	Ligament Staple.  Cast Chromium-cobalt 	6mm	$80.00

staples, non-absorbable. Non-sterile

OC013	Orthomed Osteotomy & Ligament 	Ligament Staple.  Cast Chromium-cobalt 	8mm	$80.00

staples, non-absorbable. Non-sterile

OC014	Orthomed Osteotomy & Ligament 	Ligament Staple.  Cast Chromium-cobalt 	11mm	$80.00

staples, non-absorbable. Non-sterile

OC015	Orthomed Osteotomy & Ligament 	Ligament Staple.  Cast Chromium-cobalt 	16mm	$80.00

staples, non-absorbable. Non-sterile

Smith & Nephew Surgical Pty Ltd

SN463	Bone Staple	Fixation - Osteotomy	Fixation Staple 5mm- 14mm.  	$163.00

McConnel HTO PF 15mm 0-S

SN465	Bone Staple	Fixation - Table	Small -Medium  13mm - 16mm.	$205.00

SN466	Bone Staple	Krackow HTO	12,14,16mm	$249.00

Stryker Australia Pty Ltd

HW317	Rutherford Staple	Ellison Arched Staple, Vitallium	9,12,15mm x 23mm	$177.00

HW318	Rutherford Staple	Ellison Flat Staple, Vitallium	8,11,14 x 23mm	$135.00

Prostheses List by Category, Groups and Sponsor	Page 749 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Memory Staple

Johnson & Johnson Medical Pty Ltd

DP879	Barouk System Staples	Memory Staple - Titanium Alloy	12-20mm Long	$710.00

MM

Surgical Specialties

SQ046	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS 	Asymmetric - 11x15x13, 	$405.00

Staple - Asymmetric Staples - 	11x17x15, 11x17x19 &

Biocompatible Nitonol Construction

Group 21b: Small (hand/foot)

Darco Australia

DC019	Mini Staple	For fixation of osteotomies of first 	0° and 63°, 8-10mm x 10mm	$285.00

phalanx (e.g. Akin), 1mm diameter,

straight & angled design

Johnson & Johnson Medical Pty Ltd

DP878	Barouk System Staples	Varisation Staple  Stainless Steel	26-90Deg x 8-10mm	$193.00

Orthopaedic Solutions Pty Ltd

OE024	NexFix Closing Wedge Osteotomy 	The NexFix Closing wedge osteotomy 	8mm x 90 deg, 8mm x 64 deg	$300.00

staples are made of stainless steel and are

intended to be used for internal fixation of

fusions, bone grafts and osteotomies in

the bones of the hand and foot following

Orthotech Pty Ltd

OH334	EOS Footset - Varisation staple	Foot staple	8-10mm	$307.00	$390.00

OH345	Pareous staple	Foot staple	1.5mm 6-14 and 2.5mm 14-30	$307.00	$350.00

Surgical House

SU012	Solustaple Standard Staple	Stainless steel 90 deg & 26 degree	8 & 10mm length	$235.00

SU205	Solustaple Standard Staple (Sterile)	Stainless Steel	26°, 90°, 8-10mm	$235.00

Com

Lifehealthcare Pty Ltd

LH337	Memofix Staples	Nitinol	10-17mm x 12-20mm Length	$718.00

Smith & Nephew Surgical Pty Ltd

SN464	Bone Staple	Fixation - Short Leg	Xsmall - large	$125.00

Prostheses List by Category, Groups and Sponsor	Page 750 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Surgical House

SU013	Uni-Clip Compression Staple	Stainless steel	Width 11mm - 30mm, Length 	$750.00

13mm - 32mm; Notched -

Width 11mm - 30mm, Length

13mm - 32mm;

SU204	Uni-Clip Compression Staple (Sterile)	Stainless Steel, Notched and Non-	Width 11-30mm, Length 13-	$750.00

MM

Darco Australia

DC030	Hot-Staples	Manufactured from Nitinol. Once 	11 - 25mm	$697.00

implanted, staple is heated using a

thermo-cautery system causing the staple

shape to reduce and compress, providing

efficient and continued interfragmental

Orthotech Pty Ltd

OH346	Eleos staple	Foot staple	4-34/38mm	$695.00

Surgical Specialties

SQ045	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS 	Small wire 1.2-1.5 - Sizes 	$390.00

Staple - Biocompatible Nitonol	5x7x5, 7x9x7, 8x11x8,

10x11x10, 10x13x10,

12x15x12, 15x15x15,

Group 21c: Other

ConMed Linvatec Australia Pty Ltd

LV025	Staplizer Bone Staple Cartridge	5 Titanium staples per cartridge	7 x 7mm, 7 x 10mm, 10 x 	$295.00	$370.00

7mm, 10 x 10mm, 10 x 15mm,

13 x 7mm, 13 x 10mm, 13 x

15mm, 13 x 20mm, 16 x 10mm,

16 x 15mm, 16 x 20mm, 16 x

Prostheses List by Category, Groups and Sponsor	Page 751 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Orthopaedic Solutions Pty Ltd

OE023	NexFix Compression Staples	The NexFix Compression Staples are 	10 mm in width, leg length 	$300.00	$350.00

made of stainless steel and are used for 	varies 13 mm - 20 mm

internal fixation of fractures, fusions,

bone grafts and osteotomies in the bones

of the hand and foot. It is designed so the

surgeon can control the amount of

compression they are applying across the

osteotomy/fracture site. Once

compressed the surgeon can also reduce

the amount of compression applied with

the specialised clamp provided. This does

not affect the final stability of the implant

but allows for greater control at the time

of surgery.

Stryker Australia Pty Ltd

HW319	Rutherford Staple	Ellison Soft Tissue Retainer,  Vitallium	8,11,14mm 	$125.00

MM

LMT Surgical Pty Ltd

LM077	Memometal Memory Staples	Memory Metal Implants	10 mm to 25 mm	$600.00

MM, Com

Surgical Specialties

SQ048	Calcaneal Step OSStaple	Dynamic Compression Implant, Calcaneal	2mm, 4mm, 6mm 9mm & 	$710.00

Step OSStaple, Nitinol Memory Alloy	12mm offsets

Group 22: Soft Tissue Fixation Devices

Smith & Nephew Surgical Pty Ltd

SN426	ACL/PCL Reconstructions	EndoButton	4 x 12mm, 4mm x 18mm	$248.00

Group 22a: No Suture

ConMed Linvatec Australia Pty Ltd

LV113	PopLok Suture Anchor	PEEK Optima Suture Anchor with or 	3.5mm & 4.5mm diameters	$690.00

without sutures

Device Technologies Australia Pty Ltd

DE261	Pushlock Suture Anchor	Knotless Suture Anchor	2.5 - 5.5 x 5 - 18.5mm	$600.00

Prostheses List by Category, Groups and Sponsor	Page 752 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DE271	RetroButton	Femoral Fixation Device	12mm Button with 15-60mm 	$369.00	$400.00

loops, 15mm Button with 15-

DE288	Swivelock	Twist- in knotless suture anchor	4.5mm and 5.5mm diameters	$600.00

DE305	BioComposite PushLock	The PushLock is a knotless anchor used 	3.5mm - 5.5mm	$600.00

for repair of soft tissue to bone. The

unique PushLock design allows the

surgeon to adjust the amount of tension

on the tissue intraoperatively allowing for

precise tisse reduction. The tissue is

securely held in a knotless fashion

allowing for soft tissue healing to bone.

DE306	BioComposite SwiveLock	The SwiveLock is a 4.75 or 5.5mm 	4.75mm - 5.5mm	$600.00

twist-in knotless anchor. This anchor

functions very similar to the PushLock

but with a twist-in design. This anchor is

available with a b-TCP and PLLA anchor

Johnson & Johnson Medical Pty Ltd

JJ077	Mitek Polypropylene Meniscus Fastner	Polypropylene anchor	6 & 8mm x 4mm 	$248.00

JJ083	Mitek GII Anchor Threader Tab	Titanium Suture Anchor	2.4 x 8.8mm	$287.00

JJ084	Mitek Rotator Cuff Anchor Threader Tab	Titanium Suture Anchor	2.8 x 11mm	$287.00

JJ085	Mitek Super Anchor Threader Tab to 	Titanium Suture Anchor	2.8 x 11.4mm	$287.00

LMT Surgical Pty Ltd

LM070	Surgicraft Ligament Augmentation 	Woven Polyester Prosthetic Ligament	Various	$4,156.00	$4,200.00

Reconstruction System

LM085	ABC Prosthetic Ligament	Cruciate prosthesis carbon 	12.5cm - 18.5cm; ABC Carbon 	$3,600.00

fibre/polyester, ABC Carbon/Polyester 	Polyester & ABC

Medial/Lateral Collateral Ligament, ABC 	Polyester/Polyester - one size

Polyester/ Polyester Medial/Lateral

Smith & Nephew Surgical Pty Ltd

SN413	Shoulder Reconstruction	3.7mm TAG & Wedge Suture Wedge	3.7mm	$135.00

SN420	ACL/PCL Reconstruction	RCI Screws Titanium	7-11mm diameter, 25-40mm 	$178.00

SN422	ACL/PCL Reconstructions	Acufex Fixation Post	25 -55mm	$241.00

SN423	ACL/PCL Reconstructions	Acufex Tibial Fixation Anchor	One size only	$185.00

SN424	ACL/PCL Reconstructions	Acufex Spiked Washer	One size only	$162.00

SN425	ACL/PCL Reconstructions	Cannuflex Silk & Soft Silk Interference 	5.5 x 20mm - 9x30mm	$185.00

Prostheses List by Category, Groups and Sponsor	Page 753 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SN427	ACL/PCL Reconstructions	Fixation Button	12-17mm	$35.00

SN432	ACL/PCL Reconstructions	Tibial Post Screw	Small, Standard	$158.00

Stryker Australia Pty Ltd

HW374	Howmedica Mainstay Soft Tissue 	Without suture - Titanium	4.5, 3.5 and 2.7 anchor	$152.00

SK023	ACL Wedge Interference Screw	Threaded titanium screw for 	Dia 7 - 12mm, length 20 - 	$255.00

ligament/tendon fixation

SK024	Stryker Cross-screw	Threaded titanium screw for 	8mm x 40-60mm	$455.00

ligament/tendon fixation

SK048	Stryker Cuff Anchor	Titanium anchor kit for soft tissue 	Length 5-8mm	$357.00

reattachment

AB

ConMed Linvatec Australia Pty Ltd

LV065	Bionx Implants - screws	PLLA Screws (Contour Labral Nail)	3.5mm	$333.00	$415.00

Device Technologies Australia Pty Ltd

DE059	Arthrex Meniscal Dart	PLA	10mm - 14mm	$304.00

Smith & Nephew Surgical Pty Ltd

SN414	Shoulder Reconstruction	Suretac Absorbable Staple	6-8 x 16mm	$273.00

SN415	Shoulder Reconstruction	TAG Bioabsorbable Anchor Wedge	3.7mm	$129.00

SN421	ACL/PCL Reconstructions	Absorbable PLLA Screw	7-12mm diameter, 25-35mm 	$228.00

SN430	ACL/PCL Reconstructions	EndoFix Bioabsorbable Screw	7 x 20mm - 9mm x30mm	$185.00

Stryker Australia Pty Ltd

SK046	Stryker Wedge Interference Screw	Threaded bioabsorbable screw for 	Dia 7 - 12mm, length 20 - 	$306.00

ligment/tendon fixation

SK154	Stryker Cross-Screw	HA/PLLA screw for ligament/tendon 	Dia 6mm: Length 40-60mm	$350.00	$572.00

Zimmer Pty Ltd

ZI336	Polypin Resorbable Bone Pin	Polylactide	1.5, 2.0, 2.7mm	$246.00

ZI447	Bioresorbable Screw	Polylactide	One size only	$260.00

Group 22b: Single suture

Arthrocare Australasia Pty Ltd

AF002	AutoCuff System - Suture Cartridge	SmartStitch Magnum Wire - Ultra high 	.	$110.00

tensile strength

Prostheses List by Category, Groups and Sponsor	Page 754 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AF003	AutoCuff System - Suture Cartridge	SmartStitch Suture Cartridge	Number 2 braided polyester	$85.00

Biomet Australia Pty Ltd

BH056	Lactosorb Suture Anchor	Threaded with 1 suture, PGA/PLA, 	(3.5, 5.5, 6.8)mm dia anchor	$435.00	$444.00

polyethylene

BI320	Arthrotek Harpoon System	Suture Anchor, Stainless Steel, Ti	1 to 5	$450.00

BI979	Hitch suture anchor	Suture anchor with maxbraid sutures, 	2.4mm	$493.00	$600.00	Temporary Listing

ConMed Linvatec Australia Pty Ltd

LV005	Ultrafix MiniMite StitchPak Suture 	Soft Tissue Re-attachment - Stainless 	2.3mm predeployed diameter	$338.00

LV009	Revo Cancellous Screw	Soft Tissue Re-attachment - Titanium	4mm diameter	$335.00

LV010	Mini-Revo Screw	Soft Tissue Re-attachment - Titanium	2.7mm diameter	$340.00

LV024	Ultrafix MicroMite Small Joint Anchor	Suture Anchoring Device - Titanium	1.5mm predeployed diameter	$290.00	$385.00

LV078	UltraFix Knotless Minimite Suture 	Titanium	Diameter 2.3mm	$440.00	$520.00

Device Technologies Australia Pty Ltd

DE198	Fastak Suture Anchor (Small Bone)	With Fibrewire Suture	Dia. 2.4mm x Length 7.5mm	$430.00

DE225	Fastak Anchor	Titanium with fibrewire suture	2.8mm x 11.7mm	$355.00

Johnson & Johnson Medical Pty Ltd

JJ076	Mitek Ethibond Knotless Suture Anchor	Titanium anchor	2.7 x 10.8 mm	$385.00

JJ087	Mitek Tacit Quick Anchor 	Titanium Suture Anchor	2.0 x 3.6mm	$255.00

JJ089	Mitek GII QuickAnchor Plus 	Titanium Anchor, with various sutures	2.4 x 8.8mm	$346.00

JJ091	Mini Quick Anchor with Suture	Anchor with Suture	Anchor with Suture and Multiple	$345.00

size needles

JJ096	Mitek Fastin Anchor 	Titanium Suture Anchor	3 x 8.4mm, 4 x 9.7mm, 5.2 x 	$281.00

11.5mm

JJ100	Micro Quick Anchor 	Titanium Suture Anchor	1.3 x 3.7mm	$289.00

Smith & Nephew Surgical Pty Ltd

SM146	Bioraptor 2.3 PK	PEEK optima suture anchor	2.3mm	$440.00

SM162	SPYROMITE	A non-absorbable polymer (PEEK) 	2mm in diameter	$440.00

anchor for use in ligament/tendon

reconstruction in small joint applications

SM163	DYNOMITE	A non-absorbable polymer (PEEK) 	2mm in diameter	$440.00

anchor for use in ligament/tendon

reconstruction in small joint applications

Prostheses List by Category, Groups and Sponsor	Page 755 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SM177	RAPTORMITE 3.0 PK	An non-absorbable polymer (PEEK) 	3mm	$435.00

suture anchor for use in ligament/tendon

reconstruction

Stryker Australia Pty Ltd

HW373	Howmedica Mainstay Soft Tissue 	With suture - Titanium	4.5 anchor with #2 and #5 	$190.00

suture, 2.7 anchor with #0 suture

Tornier Pty Ltd

TO052	Piton Knotless Fixation Implant System	System includes Piton Knotless anchors 	Anchor: one size. Suture: size 2 	$730.00

(single) NiTi and two Force Fiber sutures	in the system, options:

size #2 UHMWPE	blue/white or black/white

Zimmer Pty Ltd

ZI182	Zimmer Internal Fixation Systems: Soft 	Statak/Mini-Statak - Suture, Stainless 	2, 5 mm - 5, 0mm	$240.00

Tissue Re-attachment Device

AB

ConMed Linvatec Australia Pty Ltd

LV108	Bio Mini-Revo Suture Anchor	Bioabsorbable Suture Anchor with Two 	3.1mm O.D	$430.00

#2 Hi-Fi Sutures

Johnson & Johnson Medical Pty Ltd

JJ231	Bioknotless Anchor System	PLA absorbable material with various 	Dia 3.9mm, length 9mm	$435.00

JJ307	Rapidloc Meniscal Repair PLA Tophat 	Composition: PLA Implant and Ethibond 	2/0	$253.00

with Ethibond Suture	Suture, non absorbable suture

JJ308	Rapidloc Meniscal Repair PLA Tophat 	Composition: PLA Implant and Panacryl 	Straight needle, 12 degree 	$253.00

with Panacryl Suture	Suture	curved needle, 27 degree curved

JJ420	MiniLok Quick Anchor Plus with Suture	Anchor composition is PLA	Anchor with Suture and Multiple	$438.00

size needles

JJ421	MicroFix Anchor with Suture	Anchor with suture	Anchor with Suture and Multiple	$438.00

size needles

JJ422	MiniLok Quick Anchor with Suture	Anchor with Suture	Anchor with Suture and Multiple	$432.00

size needles

JJ424	Panalok RC Loop Anchor with Ethibond	Anchor composition is PLLA	One size only	$440.00

Suture

JJ425	Panalok RC Loop Anchor with Panacryl	Anchor composition is PLLA	One size only	$440.00

Suture

JJ426	Bioknotless RC Anchor with Panacryl 	Anchor composition is PLLA	One size only	$440.00

Suture

Prostheses List by Category, Groups and Sponsor	Page 756 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ429	Bioknotless RC Anchor with Ethibond 	Anchor composition is PLLA	One size only	$440.00

Suture

JJ461	RapidLoc Meniscal Repair System with 	PLA (absorbable) backstop and PDS 	One size only	$257.00

(absorbable) top hat and Panacryl

absorbable suture connecting the top hat

JJ472	BioKnotless Anchor System	PLA absorbable material with various 	Dia 3.9mm Length 9mm	$493.00

JJ698	Bioknotless BR Bone Anchor System	BIOKNOTLESS BR anchors with 	One size only	$435.00	$498.00

Orthocord or Panacryl suture

Group 22c Multiple suture

Arthrocare Australasia Pty Ltd

AF008	ParaFix Anchor	Tendon to bone anchor	ParaFix Anchors are available in:	$395.00

3mm,5mm and 6.5mm

Biomet Australia Pty Ltd

BH057	Lactosorb Suture Anchor	Threaded with 2 suture, PGA/PLA, 	(3.5, 5.5, 6.8)mm dia anchor	$435.00	$444.00

polyethylene

ConMed Linvatec Australia Pty Ltd

LV001	Linvatec Super Revo Soft Tissue Anchor	Contains screw, driver and sutures	.	$357.00

LV003	Ultrafix RC, Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	$300.00

LV006	Ultrafix RC StitchPak Suture Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	$325.00

LV027	Pre-Loaded Ultrafix RC Anchor	Surgical Grade Stainless Steel, preloaded 	Dia 2.9mm, length 6.5mm	$375.00	$445.00

with 2 #2 sutures

LV090	Super Revo Suture Anchor with Hi-Fi 	Titanium Suture Anchor	5.0mm O.D x 14.2mm L	$395.00

Suture

LV091	ThRevo Suture Anchor	Titanium screw-in suture anchor	5.0mm OD x 14.2mm L	$410.00

LV111	Presto PEEK Suture Anchor	PEEK Optima Suture Anchor, pre-	2.9mm O.D x 11mm L	$440.00	Temporary Listing

threaded with one or two sutures

LV112	CrossFT Suture Anchor	PEEK Optima Suture Anchor with 	4.5mm, 5.5mm & 6.5mm 	$435.00	$460.00

multiple sutures

LV114	Super Revo-FT Suture Anchor	Fully Threaded Suture Anchor pre-	5mm diameter	$395.00	$460.00

threaded with two sutures

Device Technologies Australia Pty Ltd

DE196	Corkscrew Suture Anchor	Titanium alloy with Fibrewire suture	3.5mm - 6.5mm	$360.00

Prostheses List by Category, Groups and Sponsor	Page 757 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ093	Mitek Rotator Cuff Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11mm	$345.00

JJ095	Mitek Super Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11.4mm	$345.00

JJ097	Fastin RC Anchor System	Titanium Anchor, with various sutures	5 & 6.5mm	$281.00

JJ678	Versalok Bone Anchor System with 	Anchor, sterile, pre-mounted on inserter 	One size only	$600.00

Orthocord	shaft with 2 free strands of Orthocord

JJ774	Healix PEEK Suture Anchor	PEEK anchor with Orthocord suture	4.5 - 6.5mm anchor diameter	$493.00	$550.00

LMT Surgical Pty Ltd

LM090	Memometal Anchor Fixation System	Anchors	Various	$600.00

Smith & Nephew Surgical Pty Ltd

SM147	TWINFIX FT PK	PEEK optima fully threaded suture anchor	5.5mm and 6.5mm	$493.00

SN008	Rotorloc Absorbable PLA Suture 	-	One size only	$305.00

Anchor System

SN141	T-Bar Suture Retention System	Fastfix	One size only	$335.00	$425.00

SN416	Shoulder Reconstruction 	Fastentor Suture Anchor	One size only	$290.00

SN417	T-Bar Suture Retention System	T-Fix RCG 	1.8mm	$235.00

SN418	T-Bar Suture Retention System	T-Fix Single & Double	T-Fix Suture Bar, Straight 	$188.00

Needle, Double Suture

SN442	Mini TAG	Suture Anchor 2.0mm	2.0mm	$149.00

SN651	OBL Anchor System	Preloaded Soft Tissue Anchor System 	Anchor sizes - Titanium: 2.8, 	$255.00

Material: Titanium Alloy or Polyacetal 	3.5, 4.0 5.0, 6.5mm Anchor size

Polymer. Comes with Insertion device 	 - Polymer: 5.0mm

and 2 Braided Polyester Sutures

SN652	OBL Anchor System 	Soft Tissue Anchor System Non-	4.0 and 6.5mm	$218.00

preloaded Material:  Titanium Alloy

SN714	TwinFix	Quick-T	2.8 - 6.5mm	$460.00

SN854	Fast-Fix Ultra	Meniscal suture anchor	One Size	$400.00

Stryker Australia Pty Ltd

HW375	Howmedica Mainstay Soft Tissue 	Zip anchor - Titanium	Sip 4.5 anchor with #5 suture 	$257.00

and #2 suture 2 strands, zip 3.5

anchor with #2 suture and #0

suture 2 strands, zip 2.7 anchor

with #0 suture

Prostheses List by Category, Groups and Sponsor	Page 758 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Tornier Pty Ltd

TO053	Insite™ Polymer Suture Anchors	Polymer suture anchor pre loaded with 2 	3mm, 5mm or 6.5mm	$435.00

Force Fiber Sutures

TO054	Insite™ Titanium Suture Anchors	Titanium suture anchor pre loaded with 2 	3mm, 5mm or 6.5mm	$360.00

Force Fiber® Sutures

a, b

Johnson & Johnson Medical Pty Ltd

JJ810	GRYPHON BR Instability Anchor	Instability Anchor with Orthocord	2.5mm	$493.00

AB

ConMed Linvatec Australia Pty Ltd

LV008	Preloaded Bio-Anchor Absorbable 	Soft Tissue Re-attachment - PLLA	3.5mm diameter	$300.00	$360.00

Suture Anchor

LV089	Duet Suture Anchor with polyester 	Self-Reinforced 96L/4D PLA Copolymer 	6.0mm O.D. x 16.5mm L	$450.00

Anchor

LV092	Duet Suture Anchor System with Hi-Fi 	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	$460.00

Suture

LV093	Impact Suture Anchor System with Hi-	Self-Reinforced 96L/4D PLA Copolymer	3.5mm O.D. x 10.5mm L	$460.00

Fi Suture

Device Technologies Australia Pty Ltd

DE195	Corkscrew FT	Suture Anchor with Fiberwire	3.5mm - 6.5mm	$435.00

DE197	Bio - Fastak	with Fibrewire suture	3mm x 11mm	$440.00

DE220	Suturetak Suture Anchor	Suture Anchor with Fiberwire	2.4 - 3.7mm diameter x 5 - 	$430.00

14mm length

Johnson & Johnson Medical Pty Ltd

JJ098	Panalok RC Anchor System	Polylactic acid absorbable anchor with 	2.9 x 11.0mm	$437.00

absorbable and non-absorbable suture

JJ099	Panalok Anchor System	Polylactic acid absorbable anchor with 	4.1 x 6.0mm	$435.00

absorbable and non-absorbable suture

JJ233	Panalok RC QuickAnchor Plus DS 	Anchor composed of PLA, Suture 	Anchor diameter 2.9mm, length 	$432.00

Panacryl Suture	composed of PLA and PGA	11mm

JJ234	Panalok RC QuickAnchor Plus DS 	Anchor composed of PLA, Suture 	Anchor diameter 2.9mm, length 	$432.00

Ethibond Suture	composed of polyester	11mm

JJ427	Lupine Loop Anchor System	PLLA with various sutures	Dia 3.9mm Length 9mm	$440.00

JJ431	Lupine Loop Anchor System	PLLA with various sutures	Dia 3.9mm Length 9mm	$440.00

Prostheses List by Category, Groups and Sponsor	Page 759 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ457	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with 	5mm, 6.5mm	$488.00

absorbable suture with needles

JJ458	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with 	5mm, 6.5mm	$493.00

non-absorbable suture without needles

JJ460	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with 	5 & 6.5mm	$487.00

non-absorbable suture with needles

JJ471	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with 	5 - 6.5mm	$488.00

absorbable suture without needles

JJ483	Spiralok Anchor System	Spiralok Absorbable PLA Anchor with 	5mm, 6.5mm	$480.00

non-absorbable suture with or without

JJ696	Lupine BR Anchor System	Biocryl Rapide anchor with two strands 	One size only	$440.00	$483.00

of Orthocord suture

Smith & Nephew Surgical Pty Ltd

SN703	Absorbable Suture Anchor	Preloaded PLLA Suture Anchor	2.9mm, 5.0mm & 6.5mm	$460.00

Stryker Australia Pty Ltd

SK451	XCEL Anchor	Bio-absorbable Suture Anchor	2mm-10mm	$440.00

Absorbable

Arthrocare Australasia Pty Ltd

AF033	Doubleplay Suture Implant	Doubleplay Implant (TCP/PLLA) - 	5.0mm and 6.5mm	$435.00

Tricalcium phosphate and poly-L-lactide

Device Technologies Australia Pty Ltd

DE302	BioComposite Corkscrew Suture 	The threaded design over the entire length	4.5mm - 5.5mm	$435.00

of the suture anchor provides

substantially higher pull-out strength than

comparable anchors in poor quality bone.

The fully threaded design also prevents

anchor "pull-back" that may occur with

countersunk anchors. The internal drive

mechanism substantially increases

resistance to stripping during insertion

into hard bone. The recessed FiberWire

suture eyelet is self-aligning and

minimizes suture abrasion during knot

Prostheses List by Category, Groups and Sponsor	Page 760 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DE304	BioComposite SutureTak Suture Anchor	Absorbable suture anchor with a molded-	3mm	$430.00

in suture eyelet. The unique suture eyelet

maintains its strength throughtout most of

the degradation cycle and eliminates

suture abrasion during knot tying. The

flexible eyelet eliminates the need to

orientate the eyelet during insertion to

optimize suture sliding

Johnson & Johnson Medical Pty Ltd

JJ803	HEALIX BR Anchor	Biocryl Rapide anchor with suture	4.5-6.5mm	$493.00

Group 22d: Other

Biomet Australia Pty Ltd

BI206	Arthrotek Ligament Fixation System	Screw and washer. Ti	Washer 14 - 18mm, Screw 24 - 	$1,085.00

60mm,

BI233	Arthrotek Ligament Fixation System	Suture Button, HMWPE	15mm, 19mm	$185.00

BI239	Arthrotek Ligament Fixation System	Interference Screw, Titanium	15-30mm	$475.00

BI241	Gentle Threads Ligament Fixation 	Screw, Graft Interference, PGA/PLA	7mm, 8mm, 9mm, 10mm	$466.00

BI246	Arthrotek Ligament Fixation System	Bone Mulch Screws, Titanium	10.5mm x (20-35mm)	$445.00

BI920	EZLoc Femoral fixation Device	Ligament Anchor, Ti, PE	7-8; 9-10mm x Short, std or 	$445.00

BI968	ToggleLoc	Femoral Fixation Device	15mm-60mm	$369.00

BI969	MaxFire	Meniscal Repair Device	one size	$335.00

ConMed Linvatec Australia Pty Ltd

LV109	XO Button with Continuous Loop	Titanium suspensor, fixation device for 	4.5mm x 13.5mm with 	$369.00

femoral fixation in ACT and PCL repairs	Continuous Loop lengths 15-

Device Technologies Australia Pty Ltd

DE070	TransFix Implant Screw System - 	Titanium alloy	40mm & 50 mm	$445.00	$744.00

DE071	Arthrex Spiked Washer	Titanium alloy	14 - 15mm	$162.00	$369.00

DE252	Tightrope Syndesmosis Repair Kit	Titanium or stainless steel, with non 	One size only	$589.00

absorbable Fiberwire suture material

DE299	Meniscal Cinch	Meniscal Repair Device	Universal One size only	$335.00

DE303	Distal Biceps Repair Implant Set	Surgical convenience pack that contains 2	2.6mm (Button), 7mm 	$248.00

different implants, sutures and 	(Tenodesis Screw)

instruments for the repair of ruptured

Prostheses List by Category, Groups and Sponsor	Page 761 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ128	Cuff Link 	High density plastic link	8mm	$579.00

JJ588	Femoral Intrafix System	Screw and Sheath Fixation System for 	7 to 10mm	$600.00

the Femur in ACL repairs

Smith & Nephew Surgical Pty Ltd

SM148	FOOTPRINT	Non-knot tying PEEK suture anchor	5.5mm and 6.5mm	$600.00

SN428	ACL/PCL Reconstructions	EndoButton CL	20-50mm	$369.00

SN429	ACL/PCL Reconstructions	EndoButton Tape	One size only	$159.00

SN777	GTS Sleeve	Polypropylene non-absorbable woven 	one size only	$270.00

SN853	Endobutton	Fixation for ACL/PCL reconstruction	5-9mm, 15-60mm	$369.00

Surgical House

SU174	SEM Rotator Cuff Tendon and 	Polyester	1, 2, 3, 4	$3,550.00

Prosthesis for Tenoplasty

Synthes Australia Pty Ltd

SY417	Titanium Wire, Barb and Needle	Titanium wire surture and needle with 	One size only	$450.00

titanium alloy barb fixation

AB

ConMed Linvatec Australia Pty Ltd

LV021	BioStinger - V Bio - Absorbable 	Meniscal Repair Device - PLLA	10mm - 16mm	$270.00

Meniscal Repair Device

LV022	EndoPearl Bio-Absorbable Implant - 	ACL Fixation - PLLA	7mm - 9mm	$164.00	$195.00

ACL Fixation

LV028	Pre-loaded BioStinger Bio-Absorbable 	Violet, PLLA	10, 13, 16mm	$309.00	$350.00

Meniscal Repair Implant

LV071	Contour Meniscus Arrow	80L/20D, LPLA & PLLA	1.1mm x 10, 13,16mm	$230.00	$285.00

LV072	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge 	1.1mm x 10, 13,16mm	$230.00	$285.00

Pack of 1

LV074	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge 	1.1mm x 10, 13,16mm	$690.00	$844.00

Pack of 3

LV107	Pinn-ACL CrossPin System	Bioabsorbable, transverse femoral fixation	40mm/45mm/50mm Self-	$465.00

device of soft tissue grafts in ACL and 	Reinforcved PLLA Crosspin,

PCL repairs.	8mm/9mm PLLA Graft Harness

Prostheses List by Category, Groups and Sponsor	Page 762 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Device Technologies Australia Pty Ltd

DE068	Interference Screws	ARTHREX Non-sheathed	7 x 28mm - 12 x 28mm	$160.00

DE069	Interference Screws	Bio-Cortical - PLA	8 x 17 - 11 x 17mm and 8 x 20 	$299.00

- 10 x 20mm

DE072	Bio-Interference Screw	PLA	7mm - 9mm	$288.00

DE080	Tissue Button	PLA	6.5mm - 10mm	$180.00

DE127	Bio-Transfix	Composition Poly (L-lactide)	Diameter 5mm, length 50mm	$455.00	$957.00

DE166	Bio-Tenodesis Screw	Composition PLLA	Dia 5.5-9mm	$570.00	$670.00

DE167	Bio-Interference Screw	Composition - PLLA, delta tapered	Dia6.5 - 10.5mm to 8 - 12mm x	$450.00	$550.00

28 - 35mm length

DE224	Retro Screw	Composition PLLA	8-10mm x 20mm	$340.00	$550.00

Johnson & Johnson Medical Pty Ltd

JJ078	Rigidfix ACL Cross Pin System 	Polylactic acid pin	2.7 & 3.3mm x 42mm	$465.00

JJ126	Contack Fastener	Polylactic acid tack	(3.5 to 7.5mm) x11.5mm	$447.00

Smith & Nephew Surgical Pty Ltd

SN004	Bioabsorbable screw	BioRCI-HA Screw, Medial, Portal, 	7 x 20mm - 12 x 35mm	$350.00

Reverse thread, Tibial specific, Trans-

Stryker Australia Pty Ltd

SK176	Stryker Cuff Anchor	Bio Zip PLLA anchor for soft tissue 	Dia 3 - 8mm	$398.00

ligament/tendon fixation

Absorbable

Johnson & Johnson Medical Pty Ltd

JJ815	RIGIDFIX BIOCRYL Cross Pin	Cross pin composed of Biocryl 	2.7mm & 3.3mm	$465.00

(bioabsorbable TCP/PLA)

Smith & Nephew Surgical Pty Ltd

SM176	Biosure HA	An absorbable polymer interference 	6-12mm	$303.00	$400.00

screw for use in ligament/tendon

Group 23: Soft Tissue Fixation Screw

Group 23a: Standard

Advanced Surgical Design & Manufacture Ltd

AE097	Tibial Post Screw	Titanium	5 - 6mm	$158.00

Prostheses List by Category, Groups and Sponsor	Page 763 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ConMed Linvatec Australia Pty Ltd

LV016	Propel Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 	$150.00

20 - 30mm

LV017	Guardsman Femoral Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 	$185.00

20 - 30mm

LV018	Cannulated Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 	$148.00

20 - 40mm

Stryker Australia Pty Ltd

ST830	Stryker Wedge Interference Screw	Small threaded titanium screw for 	Diameter 7 - 9mm, Length 20 - 	$178.00

ligament/tendon fixation	25mm

AB

Arthrocare Australasia Pty Ltd

AF031	CPS Screw Hexalon Biodegradable 	Biodegradable ACL/PCL Recon Screw 	6 x 20, 6 x 25, 6 x 30, 7 x 20, 7	$275.00

ACL/PCL Reconstruction	PLLA/PGA/TMC	 x 25, 7 x 30, 8 x 20, 8 x 25, 8

x 30, 9 x 20, 9 x 25, 9 x 30, 10

Stryker Australia Pty Ltd

SK155	Wedge Interference screw	Threaded PLLA screw with cross pin for	Dia 7-12mm, Length 20-40mm; 	$163.00

ligament/tendon fixation	pin length standard

AB, CN

ConMed Linvatec Australia Pty Ltd

LV019	BioScrew Bioabsorbable Interference 	ACL Fixation - PLLA	Diameter 7.0 - 9.0mm, Length 	$251.00	$330.00

20 - 30mm

LV077	BioScrew XtraLok Tibial Fixation 	PLLA	Diameter 8, 9, 10, 11mm; 	$262.00	$335.00

Length 35 & 40mm

LV103	Matryx Interference Screw	Matryx (SR-96L/4D PLA with ß-TCP) 	7.3 x 20mm; 7.3 x 25mm; 7.3 x	$420.00

Inteference Screw	 30mm; 8 x 20mm; 8 x 25mm;

8 x 30mm; 9 x 20mm; 9 x

25mm; 9 x 30mm; 9 x 38mm;

10 x 25mm; 10 x 33mm; 10 x

38mm; 11 x 25mm; 11 x 33mm;

Johnson & Johnson Medical Pty Ltd

JJ127	Absolute Absorbable Interference Screw 	Polylactic acid screw	7 to11mm x (23 to 30mm)	$230.00

JJ337	Biocryl - TCP/PLA Interference Screw	Composition - Tricalcium Phosphate & 	7x23mm; 7x30mm; 8x23mm; 	$303.00

Polylactic Acid	8x30mm, 9x23mm; 9x30mm;

10x23mm; 10x30mm;

Prostheses List by Category, Groups and Sponsor	Page 764 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ473	BioIntrafix Tibial Soft Tissue Fastener	Absorbable composite (TCP/PLA) 	6 to 10mm by length 30mm	$350.00

fixation device (screw) used in

conjunction with a sheath for the repair

JJ484	MILAGRO (TCP/PLGA) Interference 	MILAGRO (TCP/PLGA) Interference 	7mm x 23mm, 7mm x 30mm, 	$375.00	$450.00

ACL Screw System	8mm x 23mm, 8mm x 30mm,

9mm x 23mm, 9mm x 30mm,

9mm x 35mm, 10mm x 23mm,

10mm x 30mm, 10mm x 35mm,

11mm x 30mm, 11mm x

35mm, 12mm x 30mm, 12mm x

Absorbable, Cannulated

Arthrocare Australasia Pty Ltd

AF032	Bilok Screw (Parallel, Tapered, 	Bilok (TCP/PLLA) - Tricalcium 	Bilok Screw Tapered: Length 	$303.00	$345.00

ST)(Fixation device)	phosphate and poly-L-lactide	20-35mm, Diameter 7-12mm

Bilok Screw parallel: Length 25-

35mm, Diameter 7-9mm Bilok

Screw ST: Length 30-35mm,

CN

Johnson & Johnson Medical Pty Ltd

JJ071	Mitek Kurosaka Advantage Fixation 	Titanium Screw Cannulated - Advantage	7 & 9mm x (15 to 40mm)	$169.00

JJ072	Mitek Kurosaka Fixation Screw	Titanium Screw Cannulated - Profile	7,8 & 9mm x (20 to 30mm)	$169.00

Group 23c: Mini

AB

Arthrocare Australasia Pty Ltd

AF014	CPS Screws	Polylactic acid trimethylene carbonate 	1.5-3.1mm screw ring 5 pcs	$40.00

copolymer

Group 23d: Other

Advanced Surgical Design & Manufacture Ltd

AE094	ACL Fixation Screws Tapered	Flat Head, Tappered, Titanium	9 - 11mm Diameter 30mm 	$178.00

AB, CN

Johnson & Johnson Medical Pty Ltd

DY477	BioIntrafix Tibial Soft Tissue Fastener 	Absorbable composite (TCP/PLA) 	30mm	$345.00

(Sheath)	fixation device (sheath) used in

conjunction with a screw

Prostheses List by Category, Groups and Sponsor	Page 765 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Absorbable, Cannulated

Device Technologies Australia Pty Ltd

DE297	BioComposite Interference Screw	Soft Tissue Fixation Device	7mm - 35mm	$303.00	$450.00

CN

Johnson & Johnson Medical Pty Ltd

JJ124	Intrafix Tibial Sheath	High density polyethylene sheath	7 to 10mm x (15 to 30mm)	$272.00

JJ125	Intrafix Tibial Tapered Screw	Plastic tapered screw	6 to 10mm x (15 to 30mm)	$286.00

Group 24: Soft Tissue Substitute

Group 24a: Biological (human or animal tissue derived)

Johnson & Johnson Medical Pty Ltd

DY136	Restore Orthobiologic Soft Tissue 	Restore Patch	One size only	$5,935.00

Zimmer Pty Ltd

ZI459	Collagen Meniscus Implant	Porous collagen-glycosaminoglcan matrix	7.5mm, 9mm	$5,000.00

Group 24b: Non- Biological

Corin Australia Pty Ltd

CR032	Lars Ligamanet Augmentation 	Woven polyester prosthetic ligaments	60,80,100 & y shaped fibres	$4,156.00

reconstruction system

Wright Medical Australia

WR053	WMT Orthopaedic Implants Hand	Silastic tendon spacer	24in long, 3, 4, 5, 6mm wide	$310.00

Group 25: External Fixateur Standard - any long bone and pelvis

Group 25a: Frame - circular (full/part)

Biomet Australia Pty Ltd

BI265	EBI XFIX Dynafix System	Hybrid Fixation System, Stainless Steel, 	Rings - 1/3, 2/3, Rotating, 	$6,361.00	Temporary approval pending

Aluminium	100mm-220mm.  Ring Bolt - 	review of product group in Feb

Xsmall, adult. Ring to fixator

connector. Rotation adaptor -

male, female, Xsmall, adult.

Variable wire (1 size) or Variable

Screw Carriage (fixed and

angulating). Wire (1.6-2mm x

Prostheses List by Category, Groups and Sponsor	Page 766 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

DY223	Ace External Fixator	Ring, aluminium	1/3 ring small 6" diameter	$376.00	Temporary approval pending

review of product group in Feb

DY225	Ace External Fixator	Ring, composite	1/3 ring large	$446.00	Temporary approval pending

review of product group in Feb

DY226	Ace External Fixator	Ring, composite	1/3 ring medium	$423.00	Temporary approval pending

review of product group in Feb

DY227	Ace External Fixator	Ring, composite	1/3 ring small	$394.00	Temporary approval pending

review of product group in Feb

DY237	Ace External Fixator	Ring, aluminium	2/3 ring, Medium - Large	$908.00	Temporary approval pending

review of product group in Feb

DY238	Ace External Fixator	Ring, composite	2/3 ring, medium - Large	$908.00	Temporary approval pending

review of product group in Feb

DY240	Ace External Fixator	Ring, aluminium	2/3 ring, small 6" diameter	$411.00	Temporary approval pending

review of product group in Feb

DY241	Ace External Fixator	Ring, composite	2/3 ring, small	$463.00	Temporary approval pending

review of product group in Feb

DY263	Ace External Fixator	U rings, aluminium	One size only	$736.00	Temporary approval pending

review of product group in Feb

DY294	Bremer Halo Crown System	Aluminium Crown & Vest	Standard & 3D	$3,035.00

LMA PacMed Pty Ltd

PM100	Orthopaedic External Fixation System - 	Hybrid Fixator	One size only	$2,159.00	Temporary approval pending

Xcaliber External Fixator	review of product group in Feb

PM108	Orthofix Limb Reconstruction System	Adult and paediatric - Short, 	$6,500.00

Standard and Long

Synthes Australia Pty Ltd

SY194	Orthopaedic External Fixator Systems	Curved and straight rod - carbon fibre	4mm - 11mm	$1,353.00	Temporary approval pending

review of product group in Feb

SY197	Orthopaedic External Fixator Systems	Hybrid Rings	11mm diameter 1/4 ring - 	$721.00	Temporary approval pending

205mm diameter full ring	review of product group in Feb

Com

Johnson & Johnson Medical Pty Ltd

JJ806	TEMPFIX External Fixation System -	Sterile pack for external fixation of lower 	Sterile transfixing pin lower leg 	$2,288.00	$4,700.00

transfixing pin sterile kit	extremity periarticular fractures	frame kits

Prostheses List by Category, Groups and Sponsor	Page 767 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ807	TEMPFIX External Fixation System - 	Sterile pack for external fixation of lower 	Sterile half pin lower leg frame 	$2,288.00	$4,700.00

half pin sterile kit	extremity periarticular fractures

Smith & Nephew Surgical Pty Ltd

SN032	Compass Universal Hinge	Circular external hinged fixator, graphite 	One size only	$8,530.00

composite

SN146	Taylor Spatial Frame	Pre-assembled circular external fixator, 	One size only	$9,925.00	Temporary approval pending

carbon-fibre rings, telescopic rods	review of product group in Feb

Stryker Australia Pty Ltd

SK364	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Tibia Kit	$4,895.00	Temporary approval pending

review of product group in Feb

SK365	Hoffman II External Fixation System	Hoffman II Sterile Pre-packs	Sterile Ankle Kit	$4,700.00	Temporary approval pending

review of product group in Feb

SK378	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Pelvic Kit	$7,680.00	Temporary approval pending

review of product group in Feb

ST945	Monotube External Fixation System	Anodized metal alloy, dynamic tube 	15mm	$4,780.00	Temporary approval pending

assembly yellow	review of product group in Feb

ST946	Monotube External Fixation System	Anodized metal alloy, dynamic tube 	20mm	$4,945.00	Temporary approval pending

assembly blue	review of product group in Feb

ST947	Monotube External Fixation System	Anodized metal alloy, dynamic tube 	25mm	$5,110.00	Temporary approval pending

assembly red	review of product group in Feb

ST948	Monotube External Fixation System	Anodized metal alloy, dynamic tube 	15mm	$2,485.00	Temporary approval pending

assembly yellow	review of product group in Feb

ST949	Monotube External Fixation System	Anodized metal alloy, dynamic tube 	20mm	$2,650.00	Temporary approval pending

assembly blue	review of product group in Feb

ST950	Monotube External Fixation System	Anodized metal alloy, dynamic tube 	25mm	$5,110.00	Temporary approval pending

assembly red	review of product group in Feb

ST965	TenXor External Fixation System	Anodized metal alloy, open ring	150, 180, 210, 250mm	$1,105.00	Temporary approval pending

review of product group in Feb

ST966	TenXor External Fixation System	Anodized metal alloy, ring clamp	One size only	$645.00	Temporary approval pending

review of product group in Feb

ST967	TenXor External Fixation System	Anodized metal alloy, wire post, pin post	One size only	$595.00	Temporary approval pending

review of product group in Feb

ST968	TenXor External Fixation System	Anodized metal alloy, ring to monotube 	One size only	$1,215.00	Temporary approval pending

triax tube clamp	review of product group in Feb

ST970	TenXor External Fixation System	Anodized metal alloy, Monticelli Spinelli 	One size only	$330.00	Temporary approval pending

kirschner wire holder	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 768 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST971	TenXor External Fixation System	Anodized metal alloy, with sliding clamp	One size only	$250.00	Temporary approval pending

review of product group in Feb

ST972	TenXor External Fixation System	Anodized metal alloy,with sliding clamp 	One size only	$645.00	Temporary approval pending

and spacer	review of product group in Feb

Synthes Australia Pty Ltd

SY422	Distraction Osteogenesis Ring System	Femoral Arch Plate, Titanium	90mm-120mm, 180mm-240mm	$880.00

SY423	Distraction Osteogenesis Ring System	Femoral Arch Plate, Carbon Fibre	90mm-120mm, 180mm-240mm	$1,350.00

SY424	Distraction Osteogenesis Ring System	Half,5/8 Ring, MRI Safe, Titanium	80mm-240mm Diameter	$908.00

SY425	Distraction Osteogenesis Ring System	Full Ring, MRI safe, Titanium	140mm-200mm Diameter	$1,365.00

SY426	Distraction Osteogenesis Ring System	Half, 5/8 ring, carbon fibre	100mm-200mm Diameter	$1,353.00

SY427	Distraction Osteogenesis Ring System	Foot Plates, Carbon Fibre	100mm-180mm	$3,000.00

Group 25b: Monolateral Device

Biomet Australia Pty Ltd

BI775	EBI XFIX DynaFix System	Distal radius fixator, wristfix, sterile, 	One size only	$2,460.00	Temporary approval pending

review of product group in Feb

BI856	EBI XFIX Dynafix System	Rail (Carbon Fiber)	100-420mm	$2,950.00	Temporary approval pending

review of product group in Feb

Lifehealthcare Pty Ltd

LH327	MiniFix	Finger Mini Fixator System	One size	$3,328.00

LMA PacMed Pty Ltd

PM012	Orthofix External Fixation System Ankle	Anodised aluminium and stainless steel	One size only	$4,607.00	Temporary approval pending

Fixator	review of product group in Feb

PM013	Orthofix External Fixation System 	Anodised aluminium and stainless steel	One size only	$3,991.00	Temporary approval pending

Pennig Wrist Fixator	review of product group in Feb

PM061	Orthofix External Fixation System 	Anodised aluminium and stainless steel	One size only	$5,440.00	Temporary approval pending

Elbow Fixator	review of product group in Feb

PM062	Orthofix External Fixation System 	Anodised aluminium and stainless steel	One size only	$5,220.00	Temporary approval pending

Hybrid Fixator	review of product group in Feb

PM063	Orthofix External Fixation System Knee 	Anodised aluminium and stainless steel	One size only	$5,955.00	Temporary approval pending

Fixator	review of product group in Feb

PM092	Orthopaedic External Fixation System - 	Complete System Sterile	One size only	$2,055.00	Temporary approval pending

Radiolucent Wrist Fixator	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 769 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

PM098	Orthopaedic External Fixation System - 	Metadiaphyseal Fixator	One size only	$2,429.00	Temporary approval pending

Xcaliber External Fixator	review of product group in Feb

PM099	Orthopaedic External Fixation System - 	Articulated Ankle Fixator	One size only	$3,139.00	Temporary approval pending

Xcaliber External Fixator	review of product group in Feb

PM109	Orthofix External Fixation Systems	MiniRail System	Short, Standard, Long and 	$2,150.00

Articulated Horizontal and

Vertical Axis

PM110	Orthofix External Fixation Systems	Pennig Minifixator	Short, Standard, Long	$4,800.00

Synthes Australia Pty Ltd

SY239	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-8.0mm	$536.00	Temporary approval pending

angled piece with nut	review of product group in Feb

Zimmer Pty Ltd

ZI484	Wristore	Disposable External Fixation device for 	Wristore Pack	$998.00	Temporary approval pending

the treatment of distal radial fractures.	review of product group in Feb

ZI602	Trans Fx LITE Ankle Implant Kit	MRI Ankle Bridging Implant Kit	Large	$4,700.00	$4,935.00	Temporary Listing - Feb 2009

ZI603	Trans Fx LITE - Pelvic Resuscitation 	MRI Pelvic Resuscitation Kit	Large	$2,175.00	Temporary Listing - Feb 2009

ZI604	Trans Fx LITE	MRI Knee Spanning Implant Kit	Large	$4,895.00	$5,140.00	Temporary Listing - Feb 2009

ZI605	Trans Fx LITE - Wrist Kit	Wrist Spanning Frame	Small	$3,135.00	Temporary Listing - Feb 2009

Com

Biomet Australia Pty Ltd

BI264	EBI XFIX Dynafix System	Distal Radius Fixator, Dimension, 	One size only	$3,305.00	Temporary approval pending

Stainless Steel, Aluminium	review of product group in Feb

BI267	EBI XFIX Dynafix System	Fixator Complete - includes T-Clamp, 	Standard, Small, Extra Small	$5,108.00	Temporary approval pending

Compression/Distraction, Dynamisation, 	review of product group in Feb

Articulating Ankle Clamp

BI272	EBI XFIX Dynafix System	Distal Radius Fixator, Wristfix, Stainless 	One size only	$2,065.00	Temporary approval pending

Steel, Aluminium	review of product group in Feb

BI776	EBI XFIX DynaFix System	OptiROM Articulating Fixator Complete	Small and Large	$8,042.00	Temporary approval pending

review of product group in Feb

BI777	EBI XFIX DynaFix System	Mini fixator/lengthener with comp/dist	Small, Medium, Long, 100mm, 	$2,413.00	Temporary approval pending

150mm	review of product group in Feb

BI819	EBI XFIX Dynafix System	Multi Axial Correction and Metaphyseal 	4-8cm, Xsmall - Adult	$5,075.00	Temporary approval pending

Arc Module complete with T-clamp	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 770 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN708	Jet X Bar	External Fixation Bar with Cap	100mm to 600mm	$4,750.00	Temporary approval pending

review of product group in Feb

SN709	Jet X Central	Modular Versitile Ankle Fixation Frame	99mm to 158mm	$4,500.00	Temporary approval pending

review of product group in Feb

Group 25c: Rods

Biomet Australia Pty Ltd

BI832	EBI XFIX Vision System	Rods, Bars, stainless 	Dia 9.5mm, 150-400mm length	$185.00	Temporary approval pending

steel/aluminium/carbon fibre	review of product group in Feb

Johnson & Johnson Medical Pty Ltd

DY228	Ace External Fixator	Threaded Rod, titanium	1/4" x 10cm	$123.00	Temporary approval pending

review of product group in Feb

DY229	Ace External Fixator	Threaded Rod, titanium	1/4" x 15cm	$164.00	Temporary approval pending

review of product group in Feb

DY230	Ace External Fixator	Threaded Rod, titanium	1/4" x 20cm	$210.00	Temporary approval pending

review of product group in Feb

DY231	Ace External Fixator	Threaded Rod, titanium	1/4" x 25cm	$258.00	Temporary approval pending

review of product group in Feb

DY234	Ace External Fixator	Titanium half pin thread	15-80mm, 155 x 5mm to 220 x 	$117.00	Temporary approval pending

5mm	review of product group in Feb

DY242	Ace External Fixator	Stainless steel transfix pin	250/300 x 5mm with 40-70mm 	$263.00	Temporary approval pending

thread	review of product group in Feb

DY243	Ace External Fixator	Titanium Transfix Pin	250/300 x 5mm with 40-70mm 	$167.00	Temporary approval pending

thread	review of product group in Feb

DY248	Ace External Fixator	Adaptor rod, titanium	8mm	$180.00	Temporary approval pending

review of product group in Feb

DY268	Ace External Fixator	Connecting rod, aluminium	X-Short, short, medium or long	$690.00	$1,062.00	Temporary approval pending

review of product group in Feb

Stryker Australia Pty Ltd

SK211	Hoffmann II External Fixation System	Hoffmann II Micro	Carbon rods 3mm (30-120mm)	$68.00	Temporary approval pending

review of product group in Feb

SK212	Hoffmann II External Fixation System	Hoffmann II Micro	Stainless steel rods 3mm x (30-	$52.00	Temporary approval pending

120mm)	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 771 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST939	Hoffman II External Fixation System	Anodised metal alloy, aluminium 	8mm x 65-500mm	$52.00	Temporary approval pending

connecting rod	review of product group in Feb

ST940	Hoffman II External Fixation System	Anodised metal alloy, carbon connecting 	8mm x 65-500mm	$69.00	Temporary approval pending

review of product group in Feb

ST942	Hoffman II External Fixation System	Anodised metal alloy, curved aluminium 	Small, Medium, Large	$90.00	Temporary approval pending

rod semi-circular	review of product group in Feb

ST943	Hoffman II External Fixation System	Anodised metal alloy, adjustable 	Long, short	$765.00	Temporary approval pending

connecting rod	review of product group in Feb

Synthes Australia Pty Ltd

SY196	Orthopaedic External Fixator Systems	Rod/Bar	450mm length - 650mm Length	$148.00	Temporary approval pending

review of product group in Feb

SY240	Orthopaedic External Fixator Systems	External fixator clamp components, bar 	1.25-6.0mm	$97.00	Temporary approval pending

for lower jaw for children	review of product group in Feb

SY242	Orthopaedic External Fixator Systems	External fixator clamp components, bar 	1.25-6.0mm	$700.00	Temporary approval pending

for upper jaw	review of product group in Feb

Com

Stryker Australia Pty Ltd

SK393	Hoffman II External Fixation System	Hoffman II MRI	8mm Connecting rod (100mm - 	$155.00	Temporary approval pending

500mm), 5mm Connecting rod 	review of product group in Feb

(100mm - 500mm), Semi

Circular Curve Rod

SK486	Hoffmann Xpress - connecting tube	Hoffman Xpress External Fixation Device	15 mm diameter / 150 to 440 	$155.00

- Adapted to fit the needs of medically 	mm in length

trained staff of such occupations as the

ST962	Monotube External Fixation System	Carbon tube yellow 015	150, 200, 250, 300mm	$220.00	Temporary approval pending

review of product group in Feb

ST963	Monotube External Fixation System	Carbon tube blue 015	150, 200, 250, 300mm	$330.00	Temporary approval pending

review of product group in Feb

ST964	Monotube External Fixation System	Carbon tube red 015	150, 200, 250, 300mm	$420.00	Temporary approval pending

review of product group in Feb

Group 25d: Coupling Devices

Biomet Australia Pty Ltd

BI827	EBI XFIX Vision System	Rod Clamps/Connector, stainless 	Dia 9.5mm	$2,300.00	Temporary approval pending

steel/aluminium	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 772 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BI828	EBI XFIX Vision System	Clamp/Rod, stainless steel/aluminium	4mm/6mm, 3-5 hole, 50-150mm	$1,175.00	Temporary approval pending

review of product group in Feb

BI831	EBI XFIX Vision System	Post, Bone Screw, Telescoping, stainless 	One size only	$850.00	Temporary approval pending

review of product group in Feb

BI854	EBI XFIX Dynafix System	Rail Accessory (Adaptor, CD Support, 	Ex Small, Small, Adult, 4-6mm	$1,020.00	Temporary approval pending

Dynamization, Bridge)	review of product group in Feb

Johnson & Johnson Medical Pty Ltd

DP391	Ace External Fixator	Pin Holder Bolt - Titanium	All sizes	$47.00	Temporary approval pending

review of product group in Feb

DY236	Ace External Fixator	Spacer with bolt, titanium	2.5-5mm	$22.00	Temporary approval pending

review of product group in Feb

DY249	Ace External Fixator	Pin holder adaptor, aluminium	90"	$311.00	Temporary approval pending

review of product group in Feb

DY251	Ace External Fixator	Anchor assembly, titanium	One size only	$308.00	Temporary approval pending

review of product group in Feb

DY252	Ace External Fixator	Articulation, titanium	One size only	$904.00	Temporary approval pending

review of product group in Feb

DY253	Ace External Fixator	Bolt clevis, titanium	One size only	$29.00	Temporary approval pending

review of product group in Feb

DY256	Ace External Fixator	Locking nut, titanium	One size only	$36.00	Temporary approval pending

review of product group in Feb

DY257	Ace External Fixator	Nut, stainless steel	One size only	$81.00	Temporary approval pending

review of product group in Feb

DY258	Ace External Fixator	Position pins I/C foot plate, titanium	One size only	$105.00	Temporary approval pending

review of product group in Feb

DY259	Ace External Fixator	Ring adapter bolt, titanium	One size only	$47.00	Temporary approval pending

review of product group in Feb

DY260	Ace External Fixator	Ring connector, titanium	One size only	$199.00	Temporary approval pending

review of product group in Feb

DY262	Ace External Fixator	Spherical nut and washer, titanium	One size only	$214.00	Temporary approval pending

review of product group in Feb

DY264	Ace External Fixator	Universal joint, titanium	One size only	$360.00	Temporary approval pending

review of product group in Feb

DY266	Ace External Fixator	Wire bolt hinge, titanium	One size only	$435.00	Temporary approval pending

review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 773 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY267	Ace External Fixator	Wire fixation bolt, cannulated or slotted 	One size only	$188.00	Temporary approval pending

(stainless steel)	review of product group in Feb

DY271	Ace External Fixator	Ring adaptor, titanium	One size only	$209.00	Temporary approval pending

review of product group in Feb

Stryker Australia Pty Ltd

SK007	Hoffmann II External Fixation System	Hoffmann II Compact -	One size only	$2,440.00	Temporary approval pending

Compression/Distraction Rod	review of product group in Feb

SK009	Hoffmann II External Fixation System	Hoffman II Miami Post	One size only	$510.00	Temporary approval pending

review of product group in Feb

SK045	Hoffmann II	Hoffmann II Mini- Shank Offset Pin 	2, 3mm	$247.00	Temporary approval pending

Holder - for 1.5mm & 2.0mm pins	review of product group in Feb

SK206	Stryker External Fixation System	Hoffmann II Micro	Couplings, Rod to rod, Pin to 	$645.00

Rod and Multipin

SK374	Hoffman II External Fixation System	Hoffman II MRI	Posts 8mm and 5mm	$111.00	Temporary approval pending

review of product group in Feb

ST937	Hoffman II External Fixation System	Anodised metal alloy, 30 deg angled post, 	One size only	$99.00	Temporary approval pending

stainless steel	review of product group in Feb

ST938	Hoffman II External Fixation System	Anodised metal alloy, straight post, 	One size only	$99.00	Temporary approval pending

stainless steel	review of product group in Feb

Synthes Australia Pty Ltd

SY091	AO/ASIF k-Wires, Pins, Washers etc	Pinless pins/clips	Asymetric small and large	$767.00

SY199	Orthopaedic External Fixator Systems	External fixator clamps, double clamp	4-6mm Diameter	$510.00	Temporary approval pending

review of product group in Feb

SY201	Orthopaedic External Fixator Systems	External fixator clamps, clamp or open 	1.25-8.0mm Diameter	$567.00	Temporary approval pending

review of product group in Feb

SY203	Orthopaedic External Fixator Systems	External fixator clamps, tube to 	11mm Diameter	$769.00	Temporary approval pending

tube/universal clamp	review of product group in Feb

SY204	Orthopaedic External Fixator Systems	External fixator clamps, open/clip on 	4-6mm Diameter	$479.00	Temporary approval pending

review of product group in Feb

SY207	Orthopaedic External Fixator Systems	External fixator clamp components, 	8 - 14mm diameter	$221.00	Temporary approval pending

threaded rod, MRI Safe	review of product group in Feb

SY228	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-8.0mm	$403.00	Temporary approval pending

vice/connecting plate	review of product group in Feb

SY230	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-6.0mm	$361.00	Temporary approval pending

intermediate piece	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 774 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SY234	Orthopaedic External Fixator Systems	External fixator clamp components, 	3mm	$2,564.00	Temporary approval pending

review of product group in Feb

SY236	Orthopaedic External Fixator Systems	External fixator clamp components, halo 	1.25-6.0mm	$1,545.00	Temporary approval pending

with visor	review of product group in Feb

SY237	Orthopaedic External Fixator Systems	3 degree, 6 degree, 11 degree. Medium, 	1.25-6.0mm	$227.00	Temporary approval pending

review of product group in Feb

SY238	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-6.0mm	$52.00	Temporary approval pending

connecting tube	review of product group in Feb

SY246	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-6.0mm	$824.00	Temporary approval pending

sliding carriage	review of product group in Feb

SY247	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-6.0mm	$1,721.00	Temporary approval pending

double joint	review of product group in Feb

SY420	Distraction Osteogenesis Ring System	Wire Post MRI Safe	Short, Long	$585.00

Zimmer Pty Ltd

ZI606	Trans Fx LITE	MRI Universal Clamp	One size only	$695.00	Temporary Listing - Feb 2009

Com

Biomet Australia Pty Ltd

BI853	EBI XFIX Dynafix System	CD Clicker	Ex Small, Small, Adult, 5-20cm	$2,413.00	Temporary approval pending

review of product group in Feb

Stryker Australia Pty Ltd

SK008	Hoffmann II External Fixation System	Hoffmann II Compression/Distraction 	One size only	$2,440.00	Temporary approval pending

review of product group in Feb

SK373	Hoffman II External Fixation system	Hoffman II MRI	Pelvic Clamp	$1,135.00	Temporary approval pending

review of product group in Feb

SK375	Hoffman II External Fixation System	Hoffman II MRI Coupling	Pin to Rod, Rod to Rod, Tube to	$770.00	Temporary approval pending

Rod, Pin Clamp Assembly	review of product group in Feb

SK390	Hoffman II External Fixation System	Hoffman II MRI	Compression/Dystraction Tube, 	$770.00	Temporary approval pending

Dynamisation Tube	review of product group in Feb

SK485	Hoffmann Xpress - Universal Pin Clamp	Hoffmann Xpress External Fixation 	One size to fit the Rod to Rod	$770.00

Device - Adapted to fit the needs of

medically trained staff of such

SK487	Hoffmann Xpress - 5 Pin Clamp Posts	Hoffmann Xpress External Fixation 	2 categories, a 1 post clamp and	$770.00

Device - adapted to fit needs of medically	 a 2 post clamp

trained staff of such occupations as the

Prostheses List by Category, Groups and Sponsor	Page 775 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

ST892	Hoffmann II Compact External Fixation 	Pin clamp assembly with no post	One Size Only	$695.00	Temporary approval pending

System	review of product group in Feb

ST935	Hoffman II External Fixation System	Anodised metal alloy, rod to rod coupling	8/8mm	$655.00	Temporary approval pending

review of product group in Feb

ST936	Hoffman II External Fixation System	Anodised metal alloy, pin to rod coupling	8/4, 5mm	$655.00	Temporary approval pending

review of product group in Feb

ST951	Monotube External Fixation System	Anodized metal alloy, pin clamp yellow, 	15, 20, 25mm	$1,215.00	Temporary approval pending

blue, red	review of product group in Feb

ST952	Monotube External Fixation System	Anodized metal alloy, single pin clamp 	15, 20, 25mm	$1,215.00	Temporary approval pending

yellow, blue, red	review of product group in Feb

ST953	Monotube External Fixation System	Anodized metal alloy, T-Adapter yellow, 	15, 20, 25mm	$580.00	Temporary approval pending

blue, red	review of product group in Feb

ST954	Monotube External Fixation System	Anodized metal alloy, tube to tube clamp 	15, 20, 25mm, 15/20mm, 	$645.00	Temporary approval pending

yellow, blue, red, yellow/blue, blue/red	review of product group in Feb

ST955	Monotube External Fixation System	Anodized metal alloy, hybrid clamp blue, 	One size only	$1,215.00	Temporary approval pending

hybrid clamp red	review of product group in Feb

Synthes Australia Pty Ltd

SY198	Orthopaedic External Fixator Systems	Distractors and lengthening apparatus	Mini - lengthening apparatus, 	$3,178.00	Temporary approval pending

mini - distractor/lengthening 	review of product group in Feb

apparatus, medium and large

distractor

SY200	Orthopaedic External Fixator Systems	External fixator clamps, transverse clamp	4-6mm Diameter	$1,077.00	Temporary approval pending

review of product group in Feb

SY202	Orthopaedic External Fixator Systems	External fixator clamps, clamp for hybrid	1.8-11mm Diameter	$1,114.00	Temporary approval pending

review of product group in Feb

SY206	Orthopaedic External Fixator Systems	External fixator clamps, adjustable clamp	4.0mm	$1,390.00	Temporary approval pending

review of product group in Feb

SY224	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-11.0mm	$1,167.00	Temporary approval pending

angled piece	review of product group in Feb

SY418	Distraction Osteogenesis Ring System	Bolt-connecting, clamp, eye, wire offset, 	One size	$188.00

wire slotted, MRI safe.

SY419	Distraction Osteogenesis Ring System	Spherical/Spacing Washer; Nut-Speed, 	1mm-50mm	$214.00

Square, Hexagonal, Standoff; MRI Safe

SY421	Distraction Osteogenesis Ring System	Threaded Rod, MRI Safe	250mm-350mm	$258.00

SY428	Distraction Osteogenesis Ring System	Locking Hinge, MRI safe	One Size	$435.00

Prostheses List by Category, Groups and Sponsor	Page 776 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 25e: Accessories

Johnson & Johnson Medical Pty Ltd

DY245	Ace External Fixator	TIP CapS, polyethylene	3-5mm	$6.00	Temporary approval pending

review of product group in Feb

Smith & Nephew Surgical Pty Ltd

SN439	Ilizarov	Jurgan Pin Balls	0.7-5.0mm	$82.00	Temporary approval pending

review of product group in Feb

Synthes Australia Pty Ltd

SY195	Orthopaedic External Fixator Systems	Protective caps for rods, protection caps	One size only	$10.00	Temporary approval pending

review of product group in Feb

SY233	Orthopaedic External Fixator Systems	External fixator clamp components, angle	3mm	$93.00	Temporary approval pending

review of product group in Feb

Group 26: External Fixateur Small - upper limb

Johnson & Johnson Medical Pty Ltd

DY386	Hoffman Wrist Kit	Hoffman Sterile Wrist Kit	One size only	$1,565.00

Group 26a: Frame -circular (full/part)

Com

Stryker Australia Pty Ltd

ST885	Howmedica Dynamic Joint Distractor	Y Body Assembly - Stainless Steel	One size only	$1,240.00	Temporary approval pending

review of product group in Feb

ST888	Howmedica Dynamic Joint Distractor	Complete Y Body Frame - Stainless Steel	One size only	$4,070.00	Temporary approval pending

review of product group in Feb

Group 26b: Monolateral Device

Com

Lifehealthcare Pty Ltd

LH331	RadioFix	Radio Fixator System	One size	$2,080.00	Tempory approval, pending

review of product group

LH340	Poing Fix	Wrist Fixator System	One size	$2,808.00	Temporary approval pending

review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 777 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LH341	Wrist Fixator PFII	Wrist Fixator System	One size	$2,912.00	Temporary approval pending

review of product group in Feb

Stryker Australia Pty Ltd

HW328	Howmedica Dynamic Joint Distractor	Complete Straight Body Frame -  	One size only	$4,070.00	Temporary approval pending

Stainless Steel	review of product group in Feb

Group 26c: Rods

Synthes Australia Pty Ltd

SY193	Orthopaedic External Fixator Systems	Rod / Bar	2.0mm-15.0mm dia 20.0mm-	$144.00	Temporary approval pending

445mm L	review of product group in Feb

Group 26e: Accessories

Stryker Australia Pty Ltd

ST886	Howmedica Dynamic Joint Distractor	Pin Stop Collar - Stainless Steel	One size only	$190.00	Temporary approval pending

review of product group in Feb

ST889	Howmedica Dynamic Joint Distractor	Straight Body Assembly - Stainless Steel	One size only	$1,025.00	Temporary approval pending

review of product group in Feb

Group 27: External Fixateur Mini - hand and foot

Group 27b: Monolateral Device

Com

Lifehealthcare Pty Ltd

LH342	MicroFix	Finger Mini Fixator System	one size	$1,664.00	Temporary approval pending

review of product group in Feb

Group 27d: Coupling Devices

Synthes Australia Pty Ltd

SY205	Orthopaedic External Fixator Systems	External fixator clamps, connecting 	3-4mm Diameter	$328.00	Temporary approval pending

review of product group in Feb

Com

Stryker Australia Pty Ltd

SK014	Hoffmann II	Hoffmann II Mini- Linking Pivot for 2mm	One size only	$186.00	Temporary approval pending

& 3mm pins	review of product group in Feb

Prostheses List by Category, Groups and Sponsor	Page 778 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SK015	Hoffmann II	Hoffmann II Mini- Shank Straight Pin 	2, 3 mm	$225.00	Temporary approval pending

Holder - for 1.5mm & 2.0mm pins	review of product group in Feb

SK016	Hoffmann II	Hoffmann II Mini- Shank 'T' Offset Pin 	2mm	$305.00	Temporary approval pending

Holder - for 1.5mm & 2.0mm pins	review of product group in Feb

SK017	Hoffmann II	Hoffmann II Mini- 3 Hole Vise	One size only	$210.00	Temporary approval pending

review of product group in Feb

SK018	Hoffmann II	Hoffmann II Mini- Simple Swivel Clamp	One size only	$680.00	Temporary approval pending

review of product group in Feb

SK019	Hoffmann II	Hoffmann II Mini- Insulated Smooth Vise	One size only	$186.00	Temporary approval pending

review of product group in Feb

SK020	Hoffmann II	Hoffmann II Mini- Articulating Coupling	3x3, 2x3	$595.00	Temporary approval pending

review of product group in Feb

SK021	Hoffmann II	Hoffmann II Mini- Adjustable Swivel 	One size only	$1,275.00	Temporary approval pending

review of product group in Feb

Group 28: Bone Cement

Group 28a: No additive

Global Manufacturing Technology Pty Ltd

GM148	BonOs Inject	Injectable acrylic vertebroplasty cement	40gm	$174.00	$3,833.00

Group 29: Bone Graft Substitute

Group 29a: Calcium and/or hydroxyapatite, no additive

1a 1b

Orthotech Pty Ltd

OH374	GeneX	GeneX paste	5cc	$1,400.00	$1,900.00

1a 1b SDS

Orthotech Pty Ltd

OH366	Kryptonite	Osteoconductive Adhesive	3cc sterile kit with syringe	$1,000.00

OH368	Kryptonite	Radiopaque	3cc sterile kit with syringe with 	$1,200.00

barium

OH376	GeneX	GeneX putty	5cc	$1,400.00	$1,900.00

OH377	GeneX	GeneX putty	2.5cc	$995.00

Prostheses List by Category, Groups and Sponsor	Page 779 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Wright Medical Australia

WR002	ProDense / Osteoset XR	Composite Injectable Bone Void Filler	4cc	$1,250.00	$1,795.00

1a 2b

Orthotech Pty Ltd

OH373	GeneX	GeneX paste	10cc	$1,950.00	$2,400.00

1a 2b SDS

Orthotech Pty Ltd

OH367	Kryptonite	Osteoconductive Adhesive	10cc sterile kit with syringe	$1,950.00	$1,995.00

OH369	Kryptonite	Radiopaque	10cc sterile kit with syringe with	$1,950.00	$2,150.00

barium

OH375	GeneX	GeneX putty	10cc	$1,950.00	$2,400.00

Wright Medical Australia

WR003	ProDense / Osteoset XR	Composite Injectable Bone Void Filler	10cc	$1,950.00

1a 3b SDS

Wright Medical Australia

WR004	ProDense/Osteoset XR	Composite Injectable Bone Void Filler	20cc	$2,730.00

2a 1b

Wright Medical Australia

WR005	ProDense / Osteoset	Composite Bone Void Filler - Pellets	2cc, 5cc	$735.00

2a 1b SDS

Wright Medical Australia

WR008	ProDense / Osteoset XR	Composite Bone Void Filler - Pellets, 	3.0mm, 1.25cc	$566.00

WR009	ProDense / Osteoset XR	Composite Bone Void Filler - Pellets, 	4.8mm, 5cc	$735.00

2a 2b

Wright Medical Australia

WR006	ProDense / Osteroset XR	Composite Bone Void Filler - Pellets	10cc	$1,080.00

2a 2b CDS

Lifehealthcare Pty Ltd

LH449	Kainos+βTCP with SmartPReP 2 APC-20	Beta-tricalcium phosphate (βTCP) 	10cc βTCP: 20ml blood process	$1,785.00

granules with autologous platelet 	 pack for 3ml APC

Prostheses List by Category, Groups and Sponsor	Page 780 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

2a 3b

Wright Medical Australia

WR007	ProDense / Osteoset XR	Composite Bone Void Filler - Pellets	20cc	$1,470.00

2a 3b CDS

Lifehealthcare Pty Ltd

LH455	Kainos+βTCP with SmartPReP 2 APC-60	beta-tricalcium phosphate (βTCP) 	20cc βTCP; 60ml blood process	$2,200.00

granules with autologous platelet 	 pack for 5-10ml APC

Group 3: Ankle joint, talar component

Group 3a: Cemented - Mobile bearing

Lifehealthcare Pty Ltd

LH433	LINK STAR Ankle Prosthesis	Talar Component, cemented	xx-Small - x- large	$1,967.00

Orthotech Pty Ltd

OH372	Otis Wedge	Wedge for tibial osteotomy	6-15mm	$1,325.00	$2,250.00

Group 3b: Uncemented - Mobile bearing

Endotec Australia Pty Ltd

EA001	Buechel-Pappas Ultracoat Total Ankle 	Thick or Revision Talar - Ceramic coated	Size 1-6	$4,900.00

Replacement System (Primary and 	 titanium

EA002	Buechel-Pappas Ultracoat Total Ankle 	Primary Talar - Ceramic coated titanium	Size 1-6	$3,850.00

Replacement System (Primary and

ESKA Australia

EK075	Talar Component Ankle Joint 	CoCRMo/Ha	Small, Medium, Large	$2,750.00	Temporary listing pending review

Cementless Ha	 of product group

Finsbury Orthopaedics Australia Pty Ltd

FI031	Box Ankle	Talar Component CoChr. Cementless	Small, Medium and Large	$2,750.00	Temporary Listing pending

review of product group

Lifehealthcare Pty Ltd

LH436	LINK STAR Ankle Prosthesis	Talar Component, cmentless	xx- small - x-large	$2,425.00

Surgical House

SU114	Hintegra Total Ankle Prosthesis	Talar implant	Right and left, sizes 1 - 5	$2,300.00

SU188	Hintegra Total Ankle Prosthesis	Talar Implant - Flat talar resection	Left - Size 1-5, Right - Size 1-5	$3,193.00

Prostheses List by Category, Groups and Sponsor	Page 781 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

porous coating

Johnson & Johnson Medical Pty Ltd

DP871	Agility Ankle System	Agility Ankle Talar	Size 1 - 6	$2,679.00

DY419	Mobile Ankle	Talus	Size 1-6	$2,300.00	$3,600.00

Group 3c: Liner - Mobile bearing

Endotec Australia Pty Ltd

EA037	Buechel-Pappas Ultracoat Total Ankle 	Polyethylene mobile bearing	3mm - 11mm	$925.00

Replacement System (Primary and

ESKA Australia

EK043	PE Articular Surface Component Ankle 	-	4mm, 6mm, 8mm	$595.00

Joint

Finsbury Orthopaedics Australia Pty Ltd

FI032	Box Ankle	Meniscal Insert, UHMWPE	Small 5-8mm, Medium 5-8mm 	$595.00	Temporary Listing pending

and Large 5-8mm	review of product group

Johnson & Johnson Medical Pty Ltd

DY408	Mobility Ankle	Mobile Bearing	1-6 from 3-11mm	$925.00

Lifehealthcare Pty Ltd

LH435	LINK STAR Ankle Prosthesis	UHMWEPE Sliding Core	6- 14mm	$555.00

Group 30: Meshes - metallic

Stryker Australia Pty Ltd

HW049	Trochanteric Mesh	Wire mesh -  Stainless Steel	50 x 50mm	$666.00

Group 31: Other Devices

Advanced Surgical Design & Manufacture Ltd

AE036	Opening Wedge Tibial Ostectomy Plate	Titanium	6mm - 20mm	$975.00

B Braun Australia Pty Ltd

BB312	Position HTO Implant System - Spacer 	Osteotomy Spacer Block, solid titanium. 	5mm - 16mm	$632.00	$950.00

Block with Fixation Screw	Consists of block and fixation screw.

Prostheses List by Category, Groups and Sponsor	Page 782 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biomet Australia Pty Ltd

BI005	Re-Unite Orthopaedic System	Rotator Cuff Butress, Lactosorb; PGA/PLA	One size only	$430.00

BI855	EBI XFIX Dynafix System	Wrench	Ex Small, Small, Adult, 3-6mm	$200.00	Temporary approval pending

review of product group in Feb

Global Manufacturing Technology Pty Ltd

GM050	Contile Fin II	6.5mm Ti Cnacellous Bone Screws	20 to 50mm	$225.00

GM109	OsteoBridge	OsteoBridge Interlocking Screw	18m to 56mm	$403.00

GM110	OsteoBridge	Nail	7mm, 8mm, 9mm, 10mm, 	$4,322.00

12mm, 14mm, 16mm & 18mm

GM111	OsteoBridge	Spacer, Straight & Angled	25mm, 40mm, to 70mm	$6,571.00

30mm, 40mm, to 70mm

20mm, 20mm, to 70mm

GM112	OsteoBridge	OsteoBridge Reducing Sleeve	20mm, 25mm & 30mm	$3,400.00

Global Orthopaedic Technology

GO092	C-Fix Cable Fixation System	Titanium Leader Cable Assembly	1-1.3mm	$1,200.00

GO170	Resofix Anchor	Resofix anchor is a 2-shell expansion bolt	Resofix - S Anchor - 10mm; 	$1,000.00

made of amorphous poly DL-Lactide 	Resofix - P Anchor - 10mm

resorbablel polyester

GO197	SuperCable Trochanteric Grips and 	Trochanteric Grips - Titanium	Short 50mm, 2 Hole Plate 	$4,000.00

Cable Plate System	135mm, 4 Hole Plate 190mm, 6

Hole Plate Straight, Right, Left

GO198	SuperCable Trochanteric Grips and 	Locking Screw Titanium	5.0mm diameter 10mm to 	$185.00

Cable Plate System	50mm length

GO199	SuperCable Trochanteric Grips and 	Compression Screws Titanium	4.5mm Diameter 10mm to 50 	$185.00

Cable Plate System	mm length

GO200	Iso-Elastic SuperCable Trochanteric 	Cable Plates Titanium	6 Hole 185mm, 8 Hole Straight 	$1,450.00

Grips and Cable-Plates System	and Curved 240mm, 10 Hole

Straight and Curved 290mm

Lifehealthcare Pty Ltd

LH315	Delivery Track	Composition: Peek	8 x 20/25/30mm	$824.00

LMT Surgical Pty Ltd

LM086	Surgicraft	Fixation Bollard	One size only	$475.00

Stryker Australia Pty Ltd

HW186	First Step High Tibial Osteotomy 	Distal Component -  Vitallium	30 to 55mm in 5mm increments	$1,004.00

Prostheses List by Category, Groups and Sponsor	Page 783 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

HW404	First Step High Tibial Osteotomy 	Proximal Component	5mm, 10mm and 15mm steps, 	$632.00

60-90mm in 5mm increments

Synthes Australia Pty Ltd

SY130	AO/ASIF Arthrodesis system	Arthrodesis	26 - 240mm	$4,429.00

SY285	AO/ASIF Blade	Helical blade	50-150mm length	$515.00

Group 4: Ankle joint, tibial component

Group 4a: Ankle joint replacement, tibial component, Cemented - Mobile bearing

Lifehealthcare Pty Ltd

LH434	LINK STAR Ankle Prosthesis	Tibial Component, cemented	xx-small - x-large	$1,587.00

LH438	LINK STAR Ankle Prosthesis	RevisionTibial Component, Cemented	Extra small - Extra large	$2,204.00

Group 4b: Ankle joint replacement, tibial component, Uncemented - Mobile Bearing

Endotec Australia Pty Ltd

EA036	Buechel-Pappas Ultracoat Total Ankle 	Tibial componenet ceramic coated 	1-6	$3,850.00

Replacement System (Primary and

ESKA Australia

EK051	Tibial Component Ankle Joint 	Tibial Component Ankle Joint 	Small, Medium, X-Medium, 	$1,980.00	Temporary Listing pending

Cementless HA	Large, X-Large	review of product group

Finsbury Orthopaedics Australia Pty Ltd

FI030	Box Ankle	Tibial Component CoChr. Cementless	Small, Medium and Large	$1,980.00	Temporary Listing pending

review of product group

Lifehealthcare Pty Ltd

LH437	LINK STAR Ankle Prosthesis	Tibial Component, cementless	xx-small - x-large	$1,915.00

Group 5: Ankle joint, Hemiarthroplasty

LMT Surgical Pty Ltd

LM094	CCI Evolution	Total ankle replacement	standard, standard plus, large, 	$6,250.00	$6,500.00	Temporary Listing

large plus

Prostheses List by Category, Groups and Sponsor	Page 784 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 6: Replacement of other joints of the foot

Group 6b: Great toe, Metatarsal component

Integra Neurosciences Pty Ltd

IG056	Kinetik Great Toe Implant	Metatarsal Component  made of chrome 	1, 2, 3 Right & Left	$2,000.00

cobalt 01-2002, 01-2004, 01-2006, 01-

2003, 01-2005, 01-2007

LMT Surgical Pty Ltd

LM016	Kinetik Great Toe Implant	Metatarsal Component  made of chrome 	1, 2, 3 Right & Left	$2,000.00

cobalt 01-2002, 01-2004, 01-2006, 01-

2003, 01-2005, 01-2007

Smith & Nephew Surgical Pty Ltd

SM047	Toefit - Plus	Chromium Cobalt	Proximal Insert 6, 7, 8	$800.00

Surgiplas Medical

SP062	Reflexion 1st MPJ Implant System	Reflexion metatarsal heads, 3 part 1st 	Standard, long, extra-long	$560.00

MPJ reconstruction system, 2 part

composition - titanium/cobalt chrome, 1

part composition - titanium/UHMWPE,

Group 6c: Great toe, phalangeal component

Integra Neurosciences Pty Ltd

IG055	Kinetik Great Toe Implant	Phalangeal Component made of titanium 	0,1,2,3	$2,400.00

alloy 01-2010, 01-2012, 01-2014, 01-

LMT Surgical Pty Ltd

LM015	Kinetik Great Toe Implant	Phalangeal Component made of titanium 	0,1,2,3	$2,400.00

alloy 01-2010, 01-2012, 01-2014, 01-

Smith & Nephew Surgical Pty Ltd

SM009	Toefit - Plus	Titanium Alloy	Phalangeal Component XS-L	$790.00

Surgiplas Medical

SP056	Bio-Action Great Toe Implant	Bio-Action Phalangeal Implant, Titanium 	Small neutral/ small modified/ 	$2,400.00

Alloy and UHMWPE.	large modified.

SP057	Bio-Action Great Toe System	Bio-Action Metatarsal Implant Cobalt 	Small neutral / small left/ small 	$2,400.00

right/ large neutral

Prostheses List by Category, Groups and Sponsor	Page 785 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Wright Medical Australia

WR045	Wright Titanium Great Toe	Great toe titanium	0,1, 2, 3, 4	$1,308.00

Group 6f: Great toe, Resurfacing Hemi arthroplasty (either Metatarsal or Phalangeal)

Device Technologies Australia Pty Ltd

DE289	AnaToemic	AnaToemic Phalangial Prosthesis	17mm, 20mm, 21.5mm, 23mm	$1,500.00

Integra Neurosciences Pty Ltd

IG058	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma 	1-4	$1,500.00

Lifehealthcare Pty Ltd

LH232	Toe Joint	Metallic Hemiarthroplasty resurfacing 	8mm - 23 mm	$1,205.00

prosthesis for the Metatarsophalangeal

LMT Surgical Pty Ltd

LM031	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma 	1-4	$1,500.00

Surgiplas Medical

SP055	Hemi-Great Toe Implant	Great Toe implant, Cobalt Chromium	XS, S, M, L	$1,500.00

Wright Medical Australia

WR047	LPT Great Toe Implant	Titanium LPT Metatarsal Component 	Sizes 1, 2 & 3 Regular Great 	$1,290.00

available in Regular and Angled Toe	Toe Implants. Sizes 1 & 2

Angled Great Toe Implants

Group 6j: Other toe, Phalangeal component

Smith & Nephew Surgical Pty Ltd

SM008	Toefit - Plus	Titanium alloy	Metatarsal Component XS-L	$810.00

Group 6m: Other toe, PID

Wright Medical Australia

WR044	WMT Orthopaedics Implants Hinge Toe	Silastic flexible hinge toe with/without 	0, 1, 2, 3, 4, 5, 6, 7	$577.00

and Hammertoe Implant	grommets

Group 6o: Tarsal bone fixation screw

Smith & Nephew Surgical Pty Ltd

SM045	Toefit - Plus	Chromium Cobalt	Distal Insert 13 - 17mm	$740.00

Prostheses List by Category, Groups and Sponsor	Page 786 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SM046	Toefit - Plus	Polyethylene	Polyethylene Distal Insert 11 - 	$530.00

15mm

Group 6p: Lesser toe fusion implant

Orthopaedic Solutions Pty Ltd

OE006	Stayfuse	Titanium inter-digital fusion device	Prox 2.8mm Blue; Mid 3.8mm x	$309.00

6mm Blue; Mid 4.3mm x 6mm

Blue; Prox 3.3mm Grey; Prox

3.8mm Grey; Mid 3.8 x 6mm

Grey; Mid 4.3 x 6mm Grey; Mid

5.0 x 5mm Grey; Mid 5.0 x

6mm Grey; Prox 6.5mm Gold;

Distal 5.5 x 10mm Gold; Distal

6.5 x 10mm Gold

Group 7: Wrist

Integra Neurosciences Pty Ltd

IG054	Universal Total Wrist Implant System 	Consists of 3 parts, proximal radius 	Radial Component - Small - left 	$9,500.00

(UTW)	component made of cobalt/chrome, distal	& right, Medium - left & right,

titanium plate, titanium screws and 	Large - left & right; Carpal

polyethylene joint surface	Component - Small, Medium,

Large; Polyethylene Carpal

Component - Small - Standard,

+1, +2,  Medium - Standard, +1,

+2, Large - Standard, +1, +2;

Bone Screws - 4.

LMT Surgical Pty Ltd

LM010	Universal Total Wrist Implant System 	Consists of 3 parts, proximal radius 	Radial Component - Small - left 	$9,500.00

(UTW)	component made of cobalt/chrome, distal	& right, Medium - left & right,

titanium plate, titanium screws and 	Large - left & right; Carpal

polyethylene joint surface	Component - Small, Medium,

Large; Polyethylene Carpal

Component - Small - Standard,

+1, +2,  Medium - Standard, +1,

+2, Large - Standard, +1, +2;

Bone Screws - 4.

Prostheses List by Category, Groups and Sponsor	Page 787 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 7a: Carpal component

Wright Medical Australia

WR042	WMT Orthopaedic Implants Hand	Trapezium silastic	1, 2, 3, 4, 5	$590.00

Group 7b: Radial component

Lifehealthcare Pty Ltd

LH371	Stability Sigmoid Notch Total DRUJ 	The Stability Sigmoid Notch Radial Stem 	Small & Large	$3,275.00

system / Stability Sigmoid Notch Radial 	is made from implantable Cobalt

chromium (ASTM 1537-94) with a CPTi

plasma spray on the back for bone

ongrowth.  It has a fixation post about

18mm  in length and has a single hole in

its base to accept a single cancellous bone

screw.  The front of the stem is highly

polished and has raised edges to accept a

UHMPE radial insert.

LH372	Stability Sigmoid Notch Total DRUJ 	The Stability Sigmoid Notch Radial Insert	The Stability Sigmoid Notch 	$450.00

System / Stability Sigmoid Notch Radial 	 is made of UHMW Polyethylene.  It is 	radial Insert has two sizes, small

Insert	formed to fit onto the Stability Sigmoid 	 and large and each size has just

Notch Radial Plate and slides onto the 	one thickness

plate and secures firmly via a peripheral

lock and a ramp lock snap fit. It has a

concave surface and a smooth back.

Group 7c: Carpal spacer

Lifehealthcare Pty Ltd

LH255	Total Wrist Implant System	Carpal Ball	Small, Medium, Large	$445.00

Group 7d: Distal Ulnar stem

Lifehealthcare Pty Ltd

LH400	Ulnar Head Implants	UlnarHead CoCr	1,2,3,4	$1,120.00

Medical & Optical Instruments Australia Pty Ltd

MO145	Martin Ulna Head prosthesis	Stem Titanium	Small, medium and 	$2,258.00

large,2mm,4mm and 17mm

Prostheses List by Category, Groups and Sponsor	Page 788 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Wright Medical Australia

WR027	E-Centrix Ulnar Head Replacement	Ulnar Stem	5.5 STD, 6.5 STD, 7.5 STD, 	$1,410.00

8.5 STD

Group 7e: Distal Ulnar Head

Lifehealthcare Pty Ltd

LH401	Ulnar Head Implants	Ulnar Stem CoCr	1,2,3,4	$1,120.00

Medical & Optical Instruments Australia Pty Ltd

MO146	Martin Ulna Head prosthesis	Ceramic Head, Chromium Cobalt	Small, medium and large	$2,800.00

Group 7f: Other

Lifehealthcare Pty Ltd

LH250	Diamond Plate/Carpal Button	Carpal Fusion Plate	Large, Small	$2,092.00

LH253	Total Wrist Implant System	Left and Right Radial Components	Small, Medium, Large	$3,275.00

LH390	Artelon	Co-polymer biomaterial built on well 	Standard & Large	$1,800.00

known chemical components (PUUR) -

Polycaprolactone & Urethrane Urea

LMT Surgical Pty Ltd

LM056	Ascension DRUJ Ulna Head, Implant 	Cobalt chromium stem with PyroCarbon 	0, 1, 2, 3, 4	$2,300.00

System	or Cobalt Chromium Articular Surface

Wright Medical Australia

WR028	E-Centrix Ulnar Head Replacement	Ulnar Stem Extender	20mm	$820.00

WR041	Orthosphere	Yttria-stabilized zirconia ceramic	9mm - 14mm	$2,150.00

WR043	Wright Swanson Titanium Carpal 	Titanium	1 - 5 left and right	$1,318.00

Scaphoid, Carpal Lunate, Basal Thumb

Group 8: Finger Joints

Finsbury Orthopaedics Australia Pty Ltd

FI045	PIPR Finger Joint	Proximal Interphalangeal Replacement 	Sizes 7 through to 11	$1,500.00

Johnson & Johnson Medical Pty Ltd

DP573	Neuflex Finger   	Neuflex MCP implant - Anasil Silicone	Size 0-60	$762.00

Prostheses List by Category, Groups and Sponsor	Page 789 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

DY400	Neuflex Finger	Neuflex PIP	1 to 20	$770.00

Lifehealthcare Pty Ltd

LH197	SR Hand Implant System	SR Hand MCP/PIP/TMC (Basal Thumb) 	XS/S/M/L/XL, 1,2,3,4,5	$1,569.00

Implants - CoCr- Titanium Alloy,

LH257	Preflex	MCP Finger Joint Implant	00/10/20/30/40/50/60mm	$611.00

LH328	MCP Finger Prosthesis "Ariadna"	Distal part, Stainless Steel	1,2 or3	$1,040.00	Tempory approval, pending

review of product group

LH329	PIP Finger Prosthesis 'DGT"	Proximal part Stainless Steel textured in 	1,2 or3	$1,248.00	Tempory approval, pending

Cobalt Chrome	review of product group

LH330	MCP Finger Prosthesis "Ariadna"	Proximal part, Stainless Steel	1,2,or 3	$1,248.00	Tempory approval, pending

review of product groups

LH333	Trapezio Metacarpal Prosthesis DLC	Stem - Cobalt Chrome	1 or 2	$884.00	Temporary approval, pending

review of product group

LH335	Elektra Stem	Cobalt Chromium/Hydroxyapatite coated	6-8mm	$1,664.00	Temporary approval, pending

review of product group

LH336	Elektra Neck	Cobalt Chromium	Extra Short, Short, Medium, 	$780.00	Temporary approval,pending

review of product group

LH338	Trapezio Metacarpal Prosthesis DLC	Cup, Polyethylene	One size only	$416.00	Tempory Approval, pending

review of product group

LH339	Trapezio Metacarpal Prosthesis DLC	Neck Cobalt Chrome	Short, Medium or long	$780.00	Tempory approval, pending

review of product group

LH344	PIP Finger Prosthesis "DGT"	Distal part, Stainless Steel texture with 	1,2 or3	$1,040.00	Temporary approval, pending

Cobalt Chrome	review of product group

LH346	Elektra Cup	Cobalt Chromium and Hydroxyapatite 	One size only	$884.00	Temporary approval, pending

review of product group

LMT Surgical Pty Ltd

LM011	Ascension Finger Joint Replacement	Pyrocarbon, distal or proximal	05D/05P/10D/10P/20D/20P/30D	$1,400.00

/30P/ 40D/40P/50D/50P

LM012	Ascension MCP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P, 20D/20P, 30D/30P, 	$1,400.00

40D/40P, 50D/50P,

LM018	Ascension Silicone Finger joint 	MCP/PIP moulded silicone finger joint	Various	$800.00

LM028	Ascension pyrocarbon carpal implant	Pyrocarbon carpal prostheses	Multiple sizes	$1,935.00

LM053	Osteotec Silicone PIP Joint Replacement	2 component hinged joint replacement for	5 - 50	$560.00

the proximal interphalangeal joint

Prostheses List by Category, Groups and Sponsor	Page 790 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

LM083	Memometal Ivory Trapezo - metacarpal 	A cement less Trapezo- Metacarpal 	Cup sizes 9-11 mm, Head Short 	$2,000.00

cement less prosthesis	medium and long, Stem size

1,2,3,4.

LM095	Hinged finger joint	Hinged finger joint replacement	5 sizes screw component - 4 x 	$2,288.00	$2,500.00

18mm, 5 x 18mm, 6 x 20mm, 7

x 22mm, 8 x 25mm; 1 size

pivot component

Mathys Orthopaedics Pty Ltd

MA081	Finger	Prosthesis - distal, proximal, standard, 	L18 D4.0 - L26 D6.0	$1,600.00	$2,000.00

Medical Device Alliance Pty Ltd

MP011	Phalangeal Joint Implant	Flexible monoblock implant to restore 	00-7	$434.00	Only to be funded where used in

finger articulation, 2001	a service for which a Medicare

Benefit is payable.

Orthotech Pty Ltd

OH202	Daphne	Metacarpophalangeal Joint Prosthesis	3, 4, 5, 6	$1,040.00

Wright Medical Australia

WR046	WMT Orthopaedic Implants 	Silastic finger joint with/without Ti 	00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	$585.00

grommets 470 series

Group 9: Elbow

Group 9a: Distal Humeral Component

Biomet Australia Pty Ltd

BH060	Discovery Elbow System	Humeral Component, Hydroxy Apatite + 	(3-5)mm dia x (75-150)mm 	$4,918.00	$9,700.00

porous coated or cemented

Johnson & Johnson Medical Pty Ltd

DY137	Acclaim Elbow	Humeral Stem, Std/Lge	100-200mm	$7,185.00

Stryker Australia Pty Ltd

HW377	Souter Strathclyde Elbow	Humeral - Long stem, left and right	Medium, Large	$2,665.00

HW379	Souter Strathclyde Elbow	Revision Humeral  - Custom, Long Stem	A, B, C, D	$8,942.00

Zimmer Pty Ltd

ZI004	Coonrad-Morrey Elbow	Humerus - Titanium	4, 6, 8 inch, Left & Right	$4,618.00

ZI342	GSB Cemented Elbow	GSB Humerus - CoCr alloy/PE	76,86,86L  	$4,673.00

Prostheses List by Category, Groups and Sponsor	Page 791 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 9b: Proximal Radial Stem

Biomet Australia Pty Ltd

BH059	Explor Radial Head	Stem	(5-10)mm x (22-32)mm	$2,100.00	$4,490.00

Johnson & Johnson Medical Pty Ltd

DY415	Guepar Radial Implants	Radial Stem, Radial Head	14/12mm to 16/16mm	$1,558.00

Lifehealthcare Pty Ltd

LH403	Radial Head Implants	Radial Stem	2,3,4,4N	$1,050.00

Medical & Optical Instruments Australia Pty Ltd

MO271	Acumed Total Radial Head	Stem	6-10mm diameter, 0-8mm neck 	$2,100.00

height

Wright Medical Australia

WR022	Evolve Modular Radial Head	Cobalt chromium alloy, standard and plus	Stem 4.5 - 9.5mm Standard, +2 	$1,325.00

stems	& +4mm

Group 9c: Proximal Radial Head

Biomet Australia Pty Ltd

BH058	Explor Radial Head	Head	(10-20)mm x (20-24)mm	$1,334.00	$4,490.00

Johnson & Johnson Medical Pty Ltd

DY414	Guepar Radial Implants	Radial Stem, Radial Head	+0 to+4	$1,558.00

Lifehealthcare Pty Ltd

LH402	Radial Head Implants	Radial Head	2,3,4,4N	$1,050.00

LMT Surgical Pty Ltd

LM043	Ascension Radial Head	The Ascension Radial Head is modular 	Head Size - 20 Short and Long, 	$3,090.00	$3,500.00

with a Pyrocarbon Head and Metal Stem 	22 Short and Long, 24 Short

which is made of Cobalt Chromium Alloy	and Long; Stem Size -

compliant with  ASTM F1537-00, also

available in all CoCr

Medical & Optical Instruments Australia Pty Ltd

MO270	Acumed Total Radial Head	Head	20-28mm	$3,300.00

Stryker Australia Pty Ltd

HW381	Radial Head Prostheses	Radial Head - Small, Medium, Large	8 - 15mm	$2,245.00

Prostheses List by Category, Groups and Sponsor	Page 792 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Wright Medical Australia

WR023	WMT Orthopaedic Implants Radial/Ulna	Radial head implant HP silastic	1, 1.5, 2, 2.5, 3	$730.00

Head

WR024	WMT Orthopaedic Implants Radial/Ulna	Radial head titanium	1, 1.5, 2, 2.5, 3	$1,720.00

Head

WR025	Evolve Modular Radial Head	Cobalt chromium alloy head	Head 18-28mm Std, +2 and 	$1,334.00

Group 9d: Proximal Ulnar Component

Biomet Australia Pty Ltd

BH061	Discovery Elbow System	Ulnar Component, Hydroxy Apatite + 	(3-5)mm dia  x (75-115)mm 	$3,577.00	$9,700.00

porous coated or cemented

Johnson & Johnson Medical Pty Ltd

DY138	Acclaim Elbow	Ulnar Stem, Std/Lge-Left/Right	60-85mm	$1,300.00

DY140	Acclaim Elbow	Linked Ulnar Metal Bearing or 	One size only	$555.00

Polyethylene Yoke

Stryker Australia Pty Ltd

HW223	Howmedica Modular Resection System	Ulna Joint -  Vitallium	One size only	$3,783.00

HW378	Souter Strathclyde Elbow	Ulnar - Retentive, non retentive	50 - 90mm (Non), 70 - 90mm 	$1,670.00

(Retentive)

HW380	Souter Strathclyde Elbow	Revision Ulnar - Custom, Long stem	Small, Medium	$4,425.00

ST820	Osteonics Solar Elbow System - ulna 	Titanium alloy	Small, standard, large	$1,410.00

component

Zimmer Pty Ltd

ZI003	Coonrad-Morrey Elbow	Ulna - Titanium	Petite, Left, Right	$3,577.00

ZI344	GSB Cemented Elbow	GSB Ulna Component - CoCr alloy	12/71,12/61,16/71,16/61	$1,313.00

Group 9e: Proximal Ulnar Spacer

Zimmer Pty Ltd

ZI464	GSB Elbow	Ulna Extension	One size only	$1,339.00

Prostheses List by Category, Groups and Sponsor	Page 793 of 865

SPECIALIST ORTHOPAEDIC

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 9f: Elbow pin

Stryker Australia Pty Ltd

HW224	Howmedica Modular Resection System	Humeral Axis -  Vitallium	One size only	$829.00

Group 9g: Other

Biomet Australia Pty Ltd

BH062	Discovery Elbow System	Condyle Kit, UHMWPE, Ti	One size	$1,440.00	$9,700.00

Stryker Australia Pty Ltd

HW199	Howmedica Modular Resection System	Circlip -  Vitallium	One size only	$74.00

HW213	Howmedica Modular Resection System	Humeral Bearing -  Vitallium	One size only	$175.00

ST818	Osteonics Solar Elbow System - 	Titanium alloy with polyethylene bushing	Standard, large	$3,570.00

humeral assembly

ST819	Osteonics Solar Elbow System - long 	Titanium alloy with polyethylene bushing	Standard, large	$4,618.00

humeral assembly

Tornier Pty Ltd

TO013	Tornier Latitude Total Elbow Prosthesis	Ulnar Cap	Small, Medium, Large	$1,530.00

TO014	Tornier Latitude Total Elbow Prosthesis	Radial Head, Radial Stem	Radial Head - (Small, Medium, 	$1,980.00

Large); Radial Stem - (Diameter

- 5mm, 6.5mm)

Zimmer Pty Ltd

ZI005	Coonrad-Morrey Elbow	Bushing -  Polyethylene, Titanium	1 & 2	$1,440.00

ZI343	GSB Cemented Elbow	GSB Humeral Medullary Plug - PE	One size only	$173.00

ZI345	GSB Cemented Elbow	GSB Washer - PE	2/12,4/12,6/12,2/16,4/16,6/16 	$138.00

ZI465	GSB Elbow	Special Bushing for Humerous	Length 76 - 86mm	$1,650.00

Prostheses List by Category, Groups and Sponsor	Page 794 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1- Urogenital - Incontinence Products

Endotherapeutics Pty Ltd

ET057	Flow Secure Artificial Urinary Sphincter	Artificial Urinary Sphincter with 	One Size	$10,000.00

conditional occlusion, inflatable hydraulic

Group 1a - Incontinence: inflatable

American Medical Systems

AM001	AMS 800 Artificial Urinary Sphincter 	Occlusive Cuff	Size: 4, 4.5, 5, 5.5, 6, 6.5, 7, 	$2,614.00

7.5, 8, 9, 10, 11cm

AM002	Acticon Artificial Bowel Sphincter Cuff	Occlusive Cuff	9, 10, 11, 12, 13, 14cm 	$3,574.00

(available in both 2.0cm &

AM021	AMS 800 Artificial Urinary Sphincter 	Silicone cuff for artificial urinary 	4.0cm - 11.0cm (increases in 	$2,614.00

sphincter. For the implantation of the 	0.5cm sizes)

second cuff for the AMS 800.

AM028	AMS 800 Artificial urninary sphincter 	Pressure Regulating Balloon	51 - 60cm, 61 -70cm, 71 - 	$2,057.00

Pressure Regulating Balloon

AM029	AMS 800 Artificial Urinary Sphincter 	Control Pump	One size	$4,947.00

AM030	AMS 800 Artificial Urinary Sphincter 	Accessory Kit	One Size	$689.00

Accessory Kit

AM032	Acticon Artificial Bowel Sphincter Pump	Control Pump	One Size	$6,432.00

AM033	Acticon Artificial Bowel Sphincter 	Pressure Regulating Balloon	81-90cm, 91-100cm, 101-	$3,500.00

Pressure Regulating Balloon	110cm, 111-120cm

AM034	Acticon Artificial Bowel Sphincter 	Accessory Kit	One Size	$689.00

Accessory Kit

Medical Device Alliance Pty Ltd

MP001	Inflatable Periurethral Constrictor	Consists of a membrane, filler product 	One size only	$1,225.00

and silicone tube

(p)

American Medical Systems

AM050	Urinary Control System Pump	Pump with InhiboZone Antibiotic Surface	One size only.	$5,150.00	$5,343.00

Treatment

Prostheses List by Category, Groups and Sponsor	Page 795 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AM051	AMS 800 Urinary Control System with 	Occlusive Cuff with InhibiZone Antibiotic	3.5 cm - 11.0 cm (increase in 	$2,850.00

InhibiZone - cuff	 Surface Treatment	0.5cm size)

Group 1b - Incontinence: adjustable balloon

Uromedica Asia-Pacific Pty Ltd

UO001	Adjustable Continence Therapy for 	ACT Device: Prosthesis designed for the 	6 - 14cm	$4,145.00

treatment of female SUI comprising of a

single silicone balloon attached via a

conduit to titanium and rubber ports

allowing for post operative adjustment.

UO002	Adjustable Continence Therapy device 	ACT Device: prosthesis designed for the 	6 - 14cm	$8,290.00

for women	treatment of female SUI comprising of

silicone balloons x 2 attached via a

conduit to titanium and rubber ports

allowing for post operative adjustment.

UO003	Adjustable Continence Therapy for Men	ProACT Device: prosthesis designed for 	6 - 14cm	$8,290.00

the treatment of male SUI comprising of

silicone balloons x2 attached via a conduit

to titanium and rubber ports allowing for

post operative adjustment.

UO004	Adjustable Continence Therapy for Men	ProACT Device: Prosthesis designed for 	6 - 14cm	$4,145.00

the treatment of male SUI comprising of

a single silicone balloon attached via a

conduit to titanium and rubber ports

allowing for post operative adjustment.

Group 1c - Incontinence: sling, male, synthetic

American Medical Systems

AM017	InVance Male Sling System	Kit includes inserter with shaft, 6 bone 	One Size	$5,718.00

screws with suture and silicone-coated

sling surgical mesh

AM048	AMS AdVance Male Sling	Sub-urethral sling implant for treatment 	Arm width - 1.2cm, Centre 	$5,718.00

of male stress urinary incontinence.  	width - 3.55cm, Length -

Made from polypropylene monofilament

Prostheses List by Category, Groups and Sponsor	Page 796 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Endotherapeutics Pty Ltd

ET050	ARGUS	Adjustable Male Sling made of silicone 	One size only	$5,616.00

adjustable self fixating columns and

urethral cushion

Medical Specialties  Australia Pty Ltd

MS055	TiLOOP Male	Tension-free mesh made out of titanized 	65 g/m2 (strong)	$2,500.00

polypropylene for restoration of male

urinary continence.

Group 1e - Incontinence: sling, female, synthetic

Allied Medical Limited

AH003	GMD Universal Incontinence Sling Kit	A sterile single use device for treatment 	Mesh = 500mm x 15mm and 	$865.00

of female stress urinary incontinence. An 	Trocars = 250 mm x 15mm

implantable device for use in women as a

suburethral sling for treatment of SUI

resulting from urethral hypermobility

and/or intrinsic sphincter deficiency.

American Medical Systems

AM014	Sparc Sling System	Polypropylene mesh sling, two needles 	One size only	$860.00

with rotating handles, two cystoscopy aids

AM019	MONARC Sling System	Product includes - mesh and two needles 	One Size Only	$865.00	$990.00

with handles attached

AM049	Mini ArcTM Single-Incision Sling System	The MiniArcTM Single Incision Sling 	8.5cm	$865.00

System is intended for the placement of a

suburethral sling for the treatment of

female stress urinary incontinence (SUI)

resulting from urethral hypermobility

and/or intrinsic sphincter deficiency.

The MiniArc sling kit is comprised of an

8.5 cm monofilament macroporous Type

I polupropylene mesh with a small

integrated self-fixating tips that are made

of polypropylene, and a curved needle

that inserts into the self-fixating tip for

advancement and placement of the sling.

Prostheses List by Category, Groups and Sponsor	Page 797 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS120	IVS Tunneller-Intravaginal Tunneller 	IVS Tunneller System Trans Obuturator 	50 cm (mesh)	$860.00

System	with two stylets and polypropylene mesh

Boston Scientific Australia Pty Ltd

BS078	Advantage Transvaginal Mid-Urethral 	Polypropylene mesh sling	One size only	$817.00

Sling System

BS096	Lynx Suprapubic Mid-Urethral Sling 	Polypropylene mesh Sling	One size only	$817.00

BS097	Obtryx Transoburator Mid-Urethral 	Polypropylene mesh sling	One size only	$817.00

Sling System

BS140	Advantage Fit Transvaginal Mid-Urethral	Polypropylene mesh sling	One size only	$817.00

Sling System

BS154	Solyx SIS System	Polypropylene mesh sling	One size only	$865.00

Coloplast Pty Ltd

CT013	Aris Transobturator Sling System	Sling System for female stress urinary 	One Size	$865.00

incontinence

Device Technologies Australia Pty Ltd

DE283	Desara Urogenital Sling	Sling for Female Stress Urinary 	1.1cm x 4.5cm	$699.00

Incontinence and Vaginal Vault Prolapse

Endotherapeutics Pty Ltd

ET043	Safyre Autofixation System	Urinary incontenence sling made of 	One size only	$860.00	$1,000.00

polydimethysiloxane and polyproplene

ET059	TOA/TVA SLING, TRANSVAGINAL 	SLING FOR THE TREATMENT OF 	ONE SIZE	$865.00	$950.00

TRANS-OBTURATOR APPROACH	FEMALE STRESS URINARY

INCONTINENCE WITH INTRA AND

POST-OPERATIV ADJUSTABILITY

ET060	Ophira Minisling System	Mini sling system made from 	One size.	$865.00	$985.00

monofilament mesh, held between self

anchoring polypropylene columns in a

fishbone design.  Supplied with a

retractable insertion guide for sling

placement.  Ophira sling has a blue

loosening suture inserted in the base of

one of the fixation arms, allowing

Gytech Pty Ltd

GP001	Cousin Biotech Intramesh L.I.F.T	Polypropylene Mesh	One size only	$551.00

Prostheses List by Category, Groups and Sponsor	Page 798 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ070	TVT (Tension-Free Vaginal Tape) 	Undyed Prolene (polypropylene) 	11 x 450mm	$865.00

Single use device	nonabsorbable tape

JJ442	Gynecare TVT-O	Items included are: Gynecare TVT 	1.1x45 cm	$865.00

Obturator device, Two Gynecare TVT

Helical Passers and a Gynecare TVT

Atraumatic Winged Guide.  The device

component of the system consists of

undyed or blue Prolene Polypropylene

JJ775	GYNECARE TVT SECUR	The GYNECAGE TVT SECUR System 	Mesh measures 1.1cm x 8cm in 	$865.00

consists of a device, 2 Inserters (with 	length

finger pads and a release wire), 1

Protective cover, and 1 plastic delivery

Medical Specialties  Australia Pty Ltd

MS051	TiLoop	Tension-free pelvic floor titanised tape for	tape, fix, two, four	$850.00	$1,200.00

pelvic floor reconstruction.

Composition: Prosthetic warp-knitted

fabric made of monofil polypropylene

threads with an encapsulating titanic

TFS Manufacturing Pty Ltd

TF001	TFS Tissue Fixation System	TFS Tissue Fixation System	One Size Only	$850.00

Group 1g - Incontinence: injectable, synthetic

Australasian Medical & Scientific Ltd

AN007	Coaptite	Calcium hydroxylapatite spheres 	1 ml syringe	$520.00

suspended in an aqueous gel carrier,

Coaptite is an injectable synthetic tissue

reconstructive material

Endotherapeutics Pty Ltd

ET011	Macroplastique	Sterile, textured, highly cross linked 	1.3 ml	$690.00	$1,008.00

polydimethylsiloxane elastomer implants

suspended in a bio-excretable carrier gel.

ET053	Macroplastique	Sterile, textured, highly cross linked 	2.5ml Implants	$1,328.00	$1,800.00

polydimethylsiloxane elastomer implants

suspended in a bio-excretable carrier gel.

Prostheses List by Category, Groups and Sponsor	Page 799 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ802	BULKAMID Urethral Bulking System	Transparent polyacrylamide gel for 	2 x 1ml syringes, 2 x 	$1,175.00

female urinary incontinence. Kit 	BULKAMID 23G needles, 1 x

comprises 2 syringe, 2 needles, 1

Lifehealthcare Pty Ltd

LH376	Durasphere SUI	Injectable Bulking agent for Stress 	1ml	$531.00

Urinary Incontinence

LH379	Durasphere SUI	Injectable Bulking agent for Stress 	3ml	$1,593.00

Urinary Incontinence

Group 1h - Incontinence: injectable, biological

Bard Australia Pty Ltd

BA041	Contigen Cross Linked Collagen 	Contigen Bard Collagen Implant for 	2.5cc per syringe	$669.00	$674.00

Stress Urinary Incontinence

Group 2 - Urogenital - Ureteric Stents

Applied Medical Australia Pty Ltd

MH010	Silhouette Ureteral Stent	The Silhouette Ureteric Stent is 	Multiple French Sizes & Lengths	$140.00

manufactured with a soft material that

provides superior comfort.  It has

superior column strength through a coil-

reinforced body providing effortless

placement.  The tight coils prevent

migration.  The smaller outside diameter

of 4F with inner diameter comparable to

6F standard stents provides exceptional

drainage.  SL-6 hydrophilic coating

further facilitates placement.

Group 2a - Ureteric stents: fixed length, polyurethane

William A Cook Australia Pty Ltd

WC027	Polyurethane Double Pigtail Stent Set	Multiple French Sizes and 	$180.00

P

William A Cook Australia Pty Ltd

WC022	C-Flex Double Pigtail Ureteric Stent Set	Set includes: Stent, Wire, Positioner	Multiple French Sizes, Multi-	$180.00

Prostheses List by Category, Groups and Sponsor	Page 800 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SP

William A Cook Australia Pty Ltd

WC018	C-Flex Endoureteratomy Stent Set	6.0/10.0 Fr, & 7.0/14.0 Fr, 	$241.00

Multiple Length

WC236	Paterson-Forrester Subcutaneous 	Subcutaneous Urinary Diversion Stent	Stent 8.5 French, 65cm long	$286.00

Urinary Diversion Stent

T

N Stenning  & Co Pty  Ltd

NG030	Paediatric Ureteric Valve Stent Set	Open end with introducer and guidewire, 	12 - 22cm	$197.00

Polyurethane

NG031	Paediatric Ureteric Integral Stent Set	Open end with introducer and guide wire,	12 - 22cm Per pack of 5	$197.00

Polyurethane

NG032	DD Ureteric Stent Set	Open end with introducer and guide wire	22 - 30cm Per pack of 2	$238.00

NG046	Paediatric Ureteric Valve Stent Set	Fixed length wirthan stent	12 - 22cm	$197.00

William A Cook Australia Pty Ltd

WC214	Cook Ureteral Stents	Amplatz Ureteral Stent Set, Ultrathane RB	8.5Fr - 12,20,22,24,26,28cm 	$243.00

Design Radioplaque Band and AQ 	and 10.2Fr - 22,24,26,28cm

Hydrophilic Coating Set includes one

stent positioner with flexible stent

introducer catheter

Group 2b - Ureteric stents: fixed length, other synthetic

Applied Medical Australia Pty Ltd

MH012	Silhouette System Ureteral Stent Set	Coil reinforced body.  SL-6 hydrophilic 	Mulitple French Sizes & Lengths	$198.00

coating.  UroWire 0.035" 3-in-1

guidewire with kink resistant nitinol core.

Design divided into 3 sections: silver

section (front end) floppy SL - 6

hydrophilic coating; Blue section (mid)

super stiff PTFE (not hydrophicaly

coated); and Green section (back) flexible

Boston Scientific Australia Pty Ltd

BS038	Polaris Ureteral Stents	Dual durometer ureteral stent with 	Diameters up to 14Fr & lengths 	$214.00

attached suture	up to 40cm

BS086	Polaris Ultra Ureteral Stent	Dual durometer ureteral stent with 	Diameters up to 14Fr & lengths 	$214.00

attached suture	up to 40cm

Prostheses List by Category, Groups and Sponsor	Page 801 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BS091	Percuflex; Percuflex Plus; Percuflex 	Ureteral stent with attached suture	Diameters up to 14Fr & lengths 	$214.00

Tail; Percuflex Tail Plus Ureteral Stents;	up to 40cm

Ureteral Stent System Kit

BS093	Retromax Plus Ureteral Stent	Ureteral stent	Diameters up to 14Fr & lengths 	$214.00

up to 40cm

BS116	Polaris Loop Ureteral Stent	Dual durometer ureteral stent with 	Diameters up to 14Fr & lengths 	$214.00

attached suture	up to 40cm

Gyrus Australasia Pty Ltd

GY086	Ureteral Stents 	Diversion Stent, silicone	7 - 8.5 F x 90cm	$177.00

William A Cook Australia Pty Ltd

WC273	Ureteric Stent Set	Set includes soft Aqueous Coated (AQ) 	Multiple French Sizes and 	$198.00

ureteric stent, positioner, with or without

wire guide

P

Applied Medical Australia Pty Ltd

MH013	Paediatric Silhouette System Set	Coil reinforced body.  SL-6 hydrophilic 	4F, 8 - 12cm	$245.00

coating.  UroWire 0.035" 3-in-1

guidewire with kink resistant nitinol core.

Design divided into 3 sections: silver

section (front end) floppy SL - 6

hydrophilic coating; Blue section (mid)

super stiff PTFE (not hydrophicaly

coated); and Green section (back) flexible

SP

Applied Medical Australia Pty Ltd

MH003	Acucise RP35 Procedural Pack	Composition: Polypropylene & Titanium	One size only	$2,860.00	Temporary approval

MH007	Acucise RP35 Procedural Starter Pack	Polypropylene and Titanium	One Size Only	$3,328.00	Temporary approval

William A Cook Australia Pty Ltd

WC024	Ultrathane Endoureteratomy Stent Set	6/9.5 Fr & 7/14.0Fr , Multiple 	$234.00

Length

T

Boston Scientific Australia Pty Ltd

BS092	Contour Ureteral Stent	Ureteral stent with attached suture	Diameters up to 14Fr & lengths 	$214.00

up to 40cm

Prostheses List by Category, Groups and Sponsor	Page 802 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

N Stenning  & Co Pty  Ltd

NG028	DD Ureteric Tumor Stent Set	Open/Closed end with introducer and 	20 - 28cm	$123.00

guide wire, Polyurethane

NG029	DD Ureteric Valve Stent Set	Open end with introducer and guide wire,	22 - 30cm	$142.00

Polyurethane

Group 2c - Ureteric stents: fixed length, other synthetic thermosensitive

William A Cook Australia Pty Ltd

WC130	Ureteric Stent Set	Set includes Aqueous Coated (AQ) firm 	Multiple French Sizes, and 	$261.00

fixed length ureteric stent, positioner,

with or without wire guide

WC131	Endo-sof double pigtail stent Set with 	Multiple French Sizes and 	$261.00

AQ Hydrophilic Coating and Sideholes

WC170	Endo-Sof Double Pigtail Ureteral Stent 	 Stent and Positioner only	Multiple French Sizes and 	$184.00

WC172	Endo-Sof Double Pigtail Ureteral Stent 	Endo-Sof Double Pigtail Stent Set	Multiple French Sizes and 	$204.00

Group 2d - Ureteric stents: fixed length, metal

Endotherapeutics Pty Ltd

ET055	Memokath Ureteric Stent	Memokath Model 051CW.	30mm - 200mm	$3,778.00

T

William A Cook Australia Pty Ltd

WC226	RESONANCE Metallic Ureteral Stent 	Metallic Double Pigtail Stent	 6 Fr, Multiple Lengths	$1,720.00

Group 2e - Ureteric stents: multi-length polyurethane

Bard Australia Pty Ltd

BA044	Ureteral Stent	Bard Inlay Hydrophilic coated Pigtail 	(Inlay) 4.7Fr 14, 20, 22, 24, 26,	$199.00

Ureteric stent without guidewire; Bard 	 28cm.  6Fr- 14, 20, 22, 24, 26,

Flouro 4 Silicone Multilength ureteric 	 28cm  7Fr 14, 20, 22, 24, 26,

stent with guidewire; Urinary Diversion 	28cm  8Fr- 14, 20, 22, 24, 26,

Stent All Silicone	28cm. (Flouro) Multilength

4,6,7,and 8fr. (Diversion)  7Fr x

90cm  &  8Fr  x 90cm.

Prostheses List by Category, Groups and Sponsor	Page 803 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Device Technologies Australia Pty Ltd

DE280	Double Pigtail Ureteral Stent Set	Ureteral Stent	5FR, 6FR, 7FR - various lengths	$120.00

22-30cm

William A Cook Australia Pty Ltd

WC020	Towers Peripheral Ureteral Stent Set	Multiple French Sizes Multi-	$214.00

P

William A Cook Australia Pty Ltd

WC218	C-Flex Multilength Ureteric Stent Set	Set includes: Paediatric Stent, Wire, 	3.7 Fr, Multiple Lengths	$254.00

Positioner

WC219	C-Flex Double Pigtail Ureteric Stent Set	Set includes: Paediatric Stent, Wire and 	3.7 Fr, Multilple Lengths	$254.00

Positioner

SP

William A Cook Australia Pty Ltd

WC237	Radiance Ureteric Stent Set	Synthetic Thermosensitive Ureteral Stent 	Multiple French Sizes and 	$261.00	$312.00

Set with Heparin Coating

Group 2f - Ureteric stents: multi-length other synthetic

Boston Scientific Australia Pty Ltd

BS094	Contour VL; Stretch VL Flexima; 	Ureteral stent with attached suture	Diameters up to 14Fr & lengths 	$212.00

Ureteral Stents	up to 40cm

Gyrus Australasia Pty Ltd

GY084	Ureteral Stents 	Single J Ureteric Stent, silicone	7 - 8.5 F x 90cm	$177.00

GY085	Ureteral Stents	Double J Ureteric Stent, silicone	6-8.5 F, 12 - 24 cm	$196.00

GY089	Quadra-Coil Multi Length Ureteral Stent	Tecoflex polymer, hydrophilic 	4.5F-8.5F x length 22 - 28cm	$139.00	$178.00

coating/PTFE coating

William A Cook Australia Pty Ltd

WC002	Sof-Flex Multi-length Ureteric Stent Set	Set includes Stent, Wire, Positioner	Multiple French Sizes, Multi-	$198.00

WC003	Sof-Flex Multi-length Ureteric Stent Set	Stent and Positioner only	Multiple French Sizes, Multi-	$198.00

WC104	Cook Ureteral Stent - Sof-Flex Double 	Radiopaque Sof-Flex Stent, Stainless 	Multiple French Sizes and 	$228.00

Pigtail Stent Set - Special	Steel Wire Guide, Radiopaque

Polyurethane Catheter and Radiolucent

WC140	Filiform Multi-Length Silicone Stent Set	Stent, Wire, Positioner	Multiple French Sizes and 	$265.00

WC147	Kwart Retro-Inject Stent Set	Stent, Wire, Inserter, Release Sleeve	Multiple French Sizes and 	$198.00

Prostheses List by Category, Groups and Sponsor	Page 804 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WC149	Sof-Flex Double Pigtail Ureteric Stent 	Stent and Positioner only	Multiple French Sizes and 	$198.00

WC150	Sof-Flex Double Pigtail Ureteric Stent 	Set includes: Stent, Wire, Positioner	Multiple French Sizes and 	$198.00

WC272	Ureteric Stent Set	Set includes soft Aqueous Coated (AQ) 	Multiple French Sizes, multi-	$198.00

ureteric stent, positioner, with or without

wire guide

P

William A Cook Australia Pty Ltd

WC217	Sof-Flex Multilength Ureteric Stent Set	Set includes: Paediatric Stent, Wire, 	3 Fr, Multiple Lengths	$259.00

Positioner

WC220	Sof-Flex Double Pigtail Ureteric Stent 	Set includes: Paediatric Stent, Wire, 	3 Fr, Multiple Lengths	$259.00

Positioner

SP

William A Cook Australia Pty Ltd

WC023	Greene Renal Transplant Stent Set	Transplant stent set	Multiple French Sizes, Multi-	$243.00

T

William A Cook Australia Pty Ltd

WC138	Filiform Double Pugtail Silicone Stent Set	Stent, Wire, Positioner	Multiple French Sizes and 	$265.00

WC143	Filiform Double Pigtail Silicone Stent Set	Stent and Positioner only	Multiple French Sizes and 	$265.00

Group 2g - Ureteric stents: multi-length other synthetic thermosensitive

William A Cook Australia Pty Ltd

WC035	Ureteric Stent Set	Set includes Aqueous Coated (AQ) firm 	Multiple French Sizes, Multi-	$261.00

multilength ureteric stent, positioner, with	Length

or without wire guide

WC169	Endo-Sof Multi-length Ureteral Stent Set	Endo-Sof Multilength Stent Set	Multiple French Sizes and 	$204.00

WC171	Endo-Sof Multi-Length Ureteral Stent Set	Stent and Positioner only	Multiple French Sizes and 	$184.00

Group 2i - Ureteric stents: urinary diversion

Boston Scientific Australia Pty Ltd

BS095	Urinary Diversion Stents	Percuflex urinary diversion stent	Diameters up to 14Fr & lengths 	$212.00

up to 95cm

Prostheses List by Category, Groups and Sponsor	Page 805 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Pyramed (Australia) Limited

PY001	Optimed Ureteric Stents	Soft-Polyurethane. Ureteral. Paediatric 	Ureteral 4.5 x 28,30,32 cm; 6 x 	$212.00

Ureteral. Renal Transplantation. Urinary 	26,28,30,32 cm; 7 x

Diversion.	26,28,30,32 cm. Paediatric

Ureteral 8 x 28,30,32 cm. Renal

Transplantation 4 x 10,12,14,16

cm; 6 x 12,14,16 cm; 7 x

12,14,16 cm. Urinary Diversion

William A Cook Australia Pty Ltd

WC031	Bander Ureteral Diversion Stent Set	Left or right stent	Multiple French Sizes and 	$132.00

WC128	Bander Ureteral Diversion Stent Set	Left and Right Stents	Multiple French Sizes and 	$212.00

Group 3 - Urogenital - Urethral Stents

Group 3a - Urethral stents : Metal, expandable

American Medical Systems

AM003	Urolume Plus TM Endo Urethral 	Endourethral wall stent for urethral 	Range: 1.5 - 4.0cm	$2,475.00	When provided in association

prostheses                                          	strictures, DESD and BPH	with Medicare Benefits Schedule

Item Number 36811 only.

Bard Australia Pty Ltd

BA042	Memotherm Prostatic Stents	Memotherm Prostatic Urethral wall Stent	36Fr, 20mm to 60mm in 5mm 	$2,475.00	When provided in association

increments; 42Fr, 20mm to 	with Medicare Benefits Schedule

60mm in 5mm increments	Item Number 36811 only.

Endotherapeutics Pty Ltd

ET054	Memokath Prostatic - Urethral Stents	Memokath Models: 028S, 028SW, 028T, 	 5mm - 90mm	$2,475.00

028TW, 044T, 044TW, 045T, 045TW,

045TTW

Group 3b - Urethral stents : paediatric

William A Cook Australia Pty Ltd

WC126	Firlit-Kluge Uretheral Stent	Firlit-Kluge uretheral stent	Multiple French Sizes, Length 	$58.00

30cm

WC136	Kaontz Urethral Stent	Kaontz Urethral Stent	Multiple French Sizes, Length 	$49.00

12cm

Prostheses List by Category, Groups and Sponsor	Page 806 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WC137	Pediatric Urethral C-Stent	Pediatric Urethral C-Stent	Multiple French Sizes, Length 	$49.00

15cm

WC162	Tarkington Urethral Stent Set	Stent, Wire	8 Fr	$81.00

Group 4 - Urogenital - Reconstructive Material

Group 4a - Urogenital Reconstructive Material : synthetic

American Medical Systems

AM013	Triangle Sling with surgical mesh	Silicone Coated sling with surgical mesh, 	10 x 10cm - 144 x 144cm	$677.00

used in sling procedures for treatment of

stress urinary incontinence.

AM023	IntePro Large Pore Polypropylene Y-	Large pore polypropylene mesh	One size	$677.00

AM026	Perigee Transobturator Anterior 	4 helical shaped needles with handles, 4 	One size	$1,353.00

Prolapse Repair System	synthetic graft arms enclosed in plastic

with a centre "cape" mesh.

AM027	Apogee Vault Suspension System	2 stainless steel curved needles with 	One size	$1,322.00

handles, a large pore polypropylene mesh

attached in the centre of a polypropylene

mesh enclosed in plastic sheaths and two

AM052	Elevate Anterior & Apical Prolapse 	IntePro Lite Mesh and single use 	One size only.	$1,333.00

Repair System	instuments for mesh placement.

AM053	Elevate Apical & Posterior Prolapse 	IntePro Lite mesh and single use 	one size only	$1,322.00

Repair System	instruments for mesh placement

Boston Scientific Australia Pty Ltd

BS127	Polyform Synthetic Mesh	Synthetic Polypropylene mesh	Width Up to 15cm & lengths up 	$390.00

to 20cm

BS131	Pinnacle PFR Kit	Synthetic Polypropylene mesh assembly 	One configuration	$2,540.00

and fixation device

BS155	Uphold Vaginal Support System	Synthetic polypropylene mesh assembly 	One configuration	$1,333.00

and fixation device

BS156	Pinnacle PFR Kit Posterior	Synthetic polypropylene mesh assembly 	One configuration	$1,322.00

and fixation device

BS157	Pinnacle Duet PFR Kit	Synthetic polypropylene mesh assemblies 	Two configurations	$2,540.00

and fixation device

Coloplast Pty Ltd

CT014	NovaSilk Polypropylene Mesh	knitted monofilament polypropylene mesh	15cm x 15cm - One Size	$310.00

Prostheses List by Category, Groups and Sponsor	Page 807 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Device Technologies Australia Pty Ltd

DE300	Ascend Pelvic Floor Repair System	Ascend AC: Anterior Compartment Mesh 	Width: 5.7 - 8.7 cm, Length 10 -	$1,322.00

for Vaginal Vault Prolapse. Ascend PC: 	 13 cm.

Posterior Compartment Mesh for Vaginal

Vault Prolapse

Johnson & Johnson Medical Pty Ltd

JJ476	Gynecare Prolift Pelvic Floor Repair 	Pre-cut gynemesh PS and single use 	PFRT01	$2,540.00

instruments for mesh placement

JJ477	Gynecare Prolift Pelvic Floor Repair 	Pre-cut gynemesh PS and single use 	PFRA01	$1,333.00

instruments for mesh placement

JJ478	Gynecare Prolift Pelvic Floor Repair 	Pre-cut gynemesh PS and single use 	PFRP01	$1,322.00

instruments for mesh placement

JJ676	GYNECARE PROSIMA  Anterior Pelvic	Precut gynaemesh PS and single use 	1 x Pieces of GYNECARE 	$1,322.00	$1,333.00

Floor Repair System	instruments for mesh placement. Includes	GYNEMESH PS* Mesh

vaginal support device	(approximately 80mm x 60mm).

1 x Vaginal Support Device, 1

x Syringe, 1 x Posterior  Inserter

JJ679	GYNECARE PROLIFT + M Anterior 	Pre-cut GYNECARE GYNEMESH M* 	One size only	$1,333.00

Pelvic Floor Repair System	Partially Absorbable mesh and single use

instruments for mesh placements

JJ745	GYNECARE PROSIMA Combined 	Pre-cut gynemesh PS and single use 	2 x Pieces of GYNECARE 	$2,540.00

Pelvic Floor Repair System	instruments for mesh placement	GYNEMESH PS* Mesh

(approximately 80mm x 60mm).

1 x Vaginal Support Device, 1

x Syringe, 1 x Anterior Inserter,

1 x Posterior Inserter

JJ746	GYNECARE PROSIMA Posterior Pelvic	Pre - Cut gynemesh PS and single use 	1 x Pieces of GYNECARE 	$1,333.00

Floor Repair System	instruments for mesh placement	GYNEMESH PS* Mesh

(approximately 80mm x 60mm).

1 x Vaginal Support Device, 1

x Syringe, 1 x Posterior  Inserter

JJ747	GYNECARE PROLIFT+M combined 	Pre-cut GYNECARE GYNEMESH M* 	One Size Only	$2,540.00

Pelvic Floor Repair System	Partially Absorbable mesh and single use

instuments for mesh placement

JJ748	GYNECARE PROLIFT+M Posterior 	Pre-cut GYNECARE GYNEMESH M* 	Once Size Only	$1,322.00

Pelvic Floor Repair System	Partially Absorbable mes and single use

instruments for mesh placement

Prostheses List by Category, Groups and Sponsor	Page 808 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

JJ789	GYNECARE GYNEMESH	Pelvic floor reconstructive material, 	25 x 25 cm	$677.00

lightweight mesh

JJ790	GYNECARE GYNEMESH PS	Pelvic floor reconstructive material, 	10 x 15 cm	$310.00

lightweight mesh

Q-Med (Sweden) Australia Pty Ltd

QM001	Deflux	Deflux is a sterile, highly viscous gel of 	1ml in syringe	$1,000.00

dextranomer microspheres and non-

animal stabilised hyaluronic acid

constituting a biocompatible and

biodegradable implant for the treatment of

vesicoureteral reflux.  The stabilised

hyaluronic acid acts mainly as a carrier,

leaving the dextranomer microspheres at

the implant site.  They are gradually

surrounded by host connective tissue.

QM002	Deflux and Metal needle kit	Deflux is a sterile, highly viscous gel of 	1 ml syringe and needle size 	$1,130.00

dextranomer microspheres and non-	3.7FR x 23G x 350mm

animal stabilised hyaluronic acid

constituting a biocompatible and

biodegradable implant for the treatment of

vesicoureteral reflux. The stabilised

hyaluronic acid acts mainly as a carrier,

leaving the dextranomer microspheres at

the implant site.  They are gradually

surrounded by host connective tissue.

3.7FR x 23G x 350mm Metal Needle.

William A Cook Australia Pty Ltd

WC245	Surgisis Biodesign Recto-Vaginal Fistula	Small intesting submucous porcine 	2mm width x 5.5cm length; 	$1,000.00

Plug	collagen matrix, non-crosslinked, 	4mm wide tapering to 2mm

supports native tissue remodelling, healing	wide x 5.5cm length; 7mm wide

and closure of recto-vaginal fistulas. 	 tapering to 2mm wide x 5.5

Conical shpe with attached button.

Group 4b - Urogenital Reconstructive Material : biological

Bard Australia Pty Ltd

BA149	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	4 x 18cm x 1.0mm	$744.00	$750.00

dermal collagen and elastin fibres

BA150	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	4 x 7cm x 1.0mm	$407.00	$410.00

dermal collagen and elastin fibres

Prostheses List by Category, Groups and Sponsor	Page 809 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA151	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	2 x 12cm x 1.0mm	$377.00	$380.00

dermal collagen and elastin fibres

BA152	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	2 x 20cm x 1.0mm	$499.00	$503.00

dermal collagen and elastin fibres

BA153	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	4 x 12cm x 1.0mm	$561.00	$565.00

dermal collagen and elastin fibres

BA154	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	8 x 12cm x 1.0mm	$943.00	$951.00

dermal collagen and elastin fibres

BA155	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	2 x 4cm x 1.0mm	$254.00	$256.00

dermal collagen and elastin fibres

BA156	Pelvicol natural implant	Flexible Flat sheet of acellular porcine 	2 x 7cm x 1.0mm	$299.00	$301.00

dermal collagen and elastin fibres

BA172	Pelvisoft	PelviSoft Acellular Collagen BioMesh	4 x 7 cm	$407.00	$472.00

BA173	Pelvisoft	PelviSoft Acellular Collagen BioMesh	8 x 12 cm	$943.00	$1,333.00

BA174	Pelvisoft	PelviSoft Acellular Collagen BioMesh	6 x 8 cm	$561.00	$679.00

William A Cook Australia Pty Ltd

WC177	Surgisis Soft Tissue Graft	Surgical Mesh composed of Sub-	Length- 10cm, Width- 7cm	$786.00

Intestinal Submucosa (SIS)

WC253	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Biodesign Posterior Pelvic Floor 	14cm x 16cm Site Specific Shape	$1,200.00

Graft

WC254	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Biodesign Anterior Pelvic Floor 	9cm x 12cm Trapezoide Shape	$850.00

WC255	Surgisis Biodesign 4-layer Tissue Graft	Surgisis Soft Tissue Graft	Length 20cm, Width 7cm	$900.00

Group 4c - Urogenital Reconstructive Material : bone and ligament fixation

American Medical Systems

AM010	Influence Bone Screw	Bone screw with pre-attached 	5.5 x 1.7 mm	$700.00

polypropylene monofilament suture. For

incinsionless tranvaginal sling procedure.

Loop Screw Bone Screw

AM011	Influence Bone Screw	Bone screw with pre-attached 	5.5 x 1.7 mm	$700.00

polypropylene monofilament suture. For

incinsionless tranvaginal sling procedure.

In-Fast Bone Screw

Prostheses List by Category, Groups and Sponsor	Page 810 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 5 - Urogenital - Penile Prostheses

Group 5a - Penile : malleable

American Medical Systems

AM005	Penile Implant - Malleable	AMS 600M, AMS 650	Cylinders range: 12 -20cm	$3,375.00	When provided in association

with Medicare Benefits Schedule

Item 37429, 37426 or 37432

AM020	DURA II, Positionable Penile Prosthesis	Concealable penile prosthesis	Diameter 10mm and 12mm; 	$5,411.00

Proximal tip lengths 1-9cm;

Distal tip lengths 1-9cm

Coloplast Pty Ltd

CT002	Acu-form Penile Prosthesis	Malleable penile prosthesis	Dia: 9ml (14 - 23cm length), dia 	$2,100.00	When provided in association

: 11mm (16 - 25cm length), Dia:	with Medicare Benefits Schedule

13mm (18 - 27cm length)	Item 37429, 37426 or 37432

Medical Device Alliance Pty Ltd

MP002	Malleable Penile Implant	Consists of a membrane, filler product 	14-23cm	$817.00	When provided in association

and silicone tube	with Medicare Benefits Schedule

Item 37429, 37426 or 37432

A

Coloplast Pty Ltd

CT007	Genesis Penile Prosthesis	Malleable Penile Prosthesis with Resist 	Dia 9mm (14 - 23cm lengths), 	$2,500.00	$3,700.00	When provided in association

Coating	Dia: 11mm (16 - 25cm lengths),	with Medicare Benefits Schedule

Dia: 13mm (18 - 27cm lengths)	Item 37429, 37426 or 37432

Group 5b - Penile : inflatable, two component

Coloplast Pty Ltd

CT001	Excel Inflatable Penile Prosthesis	Two-piece inflatable penile prosthesis	Cylinder lengths 	$10,200.00	When provided in association

10,12,14,16,18,20,22cm & six 	with Medicare Benefits Schedule

rear-tip extenders (two each 1, 2	Item 37429, 37426 or 37432

Prostheses List by Category, Groups and Sponsor	Page 811 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

A

American Medical Systems

AM041	AMS Ambicor	AMS Ambicor Inflatable Penile 	AMS Ambicor Inflatable Penile 	$10,414.00

Prostheses 12.5mm in 14, 16 &

18cm length, 14mm in 16, 18 &

20cm length, 15.5mm in 18, 20

& 22cm length

Group 5c - Penile : inflatable, three component

American Medical Systems

AM022	AMS 700 Series Inflatable Penile 	700 Series (Non InhibiZone)	12, 14, 15, 16, 18, 21cm	$3,520.00	When provided in association

Prostheses Cylinders	with Medicare Benefits Schedule

Item 37429, 37426 or 37432

AM042	AMS 700 Series Inflatable Penile 	700 Series (Non InhibiZone)	One Size	$4,290.00

Prostheses Pump

AM043	AMS 700 Series Inflatable Penile 	700 Series (Non InhibiZone)	12, 14, 15, 16, 18, 21cm	$7,810.00

Prostheses Pump & Cylinders

AM044	AMS 700 Series Inflatable Penile 	700 Series (Non InhibiZone)	 50, 65, 100ml	$1,795.00

Prostheses Reservoir non Inhibizone

AM045	AMS 700 Series Inflatable Penile 	700 Series (Non InhibiZone)	One Size	$689.00

Prostheses Accessory Kit

AM046	AMS 700 Series Inflatable Penile 	700 Series (Non InhibiZone)	One Size	$135.00

Prostheses Deactivation Package

Coloplast Pty Ltd

CT005	Titan Inflatable Penile Prosthesis with 	Assembly kit for three component penile 	Standard & Narrow -base	$680.00

Resist - Assembly Kit	prosthesis

CT008	Titan Inflatable Penile Prosthesis with 	Cylinders for three component penile 	10, 12, 14,  16, 18, 20, 22cm	$3,830.00

Resist - Cylinders	prosthesis

CT009	Titan Inflatable Penile Prosthesis with 	Preconnected Cylinders & pump for three	10, 12, 14, 16, 18, 20, 22cm (in	$8,495.00

Resist - Cylinders & Pump 	 component penile prosthesis	 both infrapubic & scrotal

CT010	Titan Inflatable Penile Prosthesis with 	Reservoir for three component penile 	60, 75, 100ml	$1,980.00	$2,020.00

Resist - Lock-out Valve Reservoir	prosthesis

CT011	Titan Inflatable Penile Prosthesis with 	Pump for three component penile 	One Size	$4,665.00

Resist - Pump

CT012	Titan Inflatable Penile Prosthesis with 	True Lock Plug for deactivation of three 	One Size	$135.00

Resist - True-lock Plug	component penile prosthesis

Prostheses List by Category, Groups and Sponsor	Page 812 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

A

American Medical Systems

AM004	AMS 700 Series Inflatable Penile 	700 Series with InhibiZone	12, 14, 15, 16, 18, 21cm	$3,830.00	When provided in association

Prostheses with Inhibizone Cylinders	with Medicare Benefits Schedule

Item 37429, 37426 or 37432

AM036	AMS 700 Series Inflatable Penile 	700 Series with InhibiZone	One Size	$4,665.00

Prostheses with InhibiZone Pump

AM037	AMS 700 Series Inflatable Penile 	700 Series with InhibiZone	12, 14, 15, 16, 18, 21cm	$8,495.00

Prostheses with InhibiZone Pump &

Cylinders Preconnected

AM038	AMS 700 Series Inflatable Penile 	700 Series with InhibiZone	 50, 65, 100ml	$1,980.00

Prostheses with InhibiZone Reservoir

AM040	AMS 700 Series Inflatable Penile 	700 Series with InhibiZone	One Size	$135.00

Prostheses with InhibiZone Deactivation

Package

Coloplast Pty Ltd

CT006	Titan Inflatable Penile Prosthesis with 	Three-piece inflatable Penile Prosthesis 	10cm, 12cm, 14cm, 16cm, 	$10,475.00

Resist Coating	with Resist Coating	18cm, 20cm Cylinder Lengths

Group 6 - Urogenital - Testicular

American Medical Systems

AM015	AMS Testicular Prostheses	Solid silicone elastomer with suture hole	Small, Medium, Large	$653.00	When provided in association

with Medicare Benefits Schedule

Item 45051 preparatory to a

subsequent surgical service not

precluded from attracting

Surgiplas Medical

SP002	Testicular Implant	Silicone Elastomer	Small / Medium / Large	$653.00	When provided in association

with Medicare Benefits Schedule

Item 45051.

Prostheses List by Category, Groups and Sponsor	Page 813 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 6 - Testicular prostheses

Coloplast Pty Ltd

CT003	Saline Filled Testicular Prosthesis	 Testicular Prosthesis	Extra Small, Small, Medium, 	$653.00	When provided in association

with Medicare Benefits Schedule

Item 45051 preparatory to a

subsequent surgical service not

precluded from attracting

CT004	Soft Solid Testicular Prosthesis	Gel filled Testicular Prosthesis	Small, Medium, Large & Extra 	$653.00	$780.00	When provided in association

Large	with Medicare Benefits Schedule

Item 45051 preparatory to a

subsequent surgical service not

precluded from attracting

Endotherapeutics Pty Ltd

ET028	Promedon Testicular Prosthesis	Silicone Elastomer	Small - 31 x 23 mm,  Medium - 	$653.00	When provided in association

37 x 28 mm,  Large - 42 x 32 	with Medicare Benefits Schedule

mm,  Xlarge	Item 45051 preparatory to a

subsequent surgical service not

precluded from attracting

Group 7 - Urogenital - Stimulators

Medtronic Australasia Pty Ltd

MC180	Sacral Nerve Stimulation Unilateral	Interstim  stimulation lead Models 3080 &	28 cm	$3,400.00

3886. Platinum / Iridium, polyurethane.

MC185	Sacral Nerve Stimulation Unilateral	Interstim Temporary test stimulation lead.	One size only	$393.00	When used in pain therapy - to

Model 3065U. This model is temporary 	be funded when the patient has

for patient trial. Platinum / Iridium, 	undergone a multi-disciplinary

assessment and trial of

MC186	Sacral Nerve Stimulation Accessories	Model 041827-002 Auxiliary screener 	One size only;  9-12.5cm	$130.00	Only to be used with Medtronic

cable kit. Polypropylene. OR Model 	Itrel II pulse generator, model

041828-002 Foramen Needle (box of 6).

Sterile individual units. Stainless steel.

MC188	Sacral Nerve Stimulation Unilateral	Activator. Model 3031. Polycarbonate.	One size only	$1,345.00	Only to be used with Medtronic

Itrel II pulse generator, model

Prostheses List by Category, Groups and Sponsor	Page 814 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

MC291	Sacral Nerve Stimulation Lead Model 	4 electrode tined lead - platinum iridium, 	28 - 41cm	$4,420.00

3093 TINED LEAD	electrodes 0, 2, 3 are 3mm,electrode 1 is

10mm and coiled, spacing is 1.5mm

MC719	InterStim Neurostimulator Model 3023	Titanium	42g	$9,550.00

MC755	InterStim II Neurostimulator	Titanium	Weight 22g	$9,550.00

MC756	InterStim iCON Patient Programmer	Hand held device Model 3037 to be used 	One size only	$1,400.00

with implantable neurostimulation devices

MC757	Tined Lead model 3889	4 electrode tined lead - platinum, iridium	28, 33 and 41cm	$4,420.00

MC777	Interstim Extension Lead	Quadripolar Extension Kit	10, 25, 51cm	$1,510.00

Group 7 - Stimulators

Medtronic Australasia Pty Ltd

MC175	Neo-anal sphincter stimulator implant	Implantable intramuscular assist lead, 	35-50 cm	$4,420.00

Dynamic Graciloplasty Lead. Platinum

iridium, polyurethane, polypropylene.

MC775	Interstim Lead Introducer Kit	Lead Introducer Kit for Sacral Nerve 	One size only	$393.00	$541.00

Stimulation

Group 8 - Urogenital - Tubal Obstruction Devices

N Stenning  & Co Pty  Ltd

NG045	Essure System (ESS305)	Stainless steel, polyester fibre	One size only, 2 per pack	$1,290.00	$1,344.00	Only to be funded when provided

in a hospital/day hospital.  To be

reviewed in three years (2004)

to assess whether the place of

insertions is still consistent.

Group 8a - Tubal obstruction : extraluminal

Femcare Australia Pty Ltd

FE001	Filshie Clip	Titanium	One size only	$155.00

FE002	Fallopian Tube Rings (Pair)	Silicone	One size only	$78.00	$120.00

FE003	Filshie Clips - Sterishot	With Disposable Applicator	One Size	$410.00	Temporary approval, pending

review of product group

Prostheses List by Category, Groups and Sponsor	Page 815 of 865

UROGENITAL

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Gyrus Australasia Pty Ltd

GY088	Falope-Ring Bands	Fallopian Tube Clip (each)	5mm - 12mm	$39.00

Group 8b - Tubal obstruction : intraluminal

Hologic (Australia) Pty Ltd

YC001	Adiana Permanent Contraceptive System	The Adiana Permanent Contraceptive 	The Adiana Delivery Catheter 	$645.00	$800.00

System provides permanent female 	and handle is approx. 58 cm in

sterilisation by occlusion of the fallopian 	length, with an attached

tubes via a hysteroscopic transuterine 	connector cable that is 49 cm in

approach.  The Adiana Permanent 	length.  The shaft has a

Contraceptive System consists of the 	maximum shaft OD of 0.060

Adiana Radiofrequency Generator and an 	inches (+0.005in).  The distal tip

Adiana Delivery catheter with detachable 	 of the device up to the depth

Adiana Matrix.  To provide patients with 	make, which enters the fallopian

an alternative, highly safe, effective, 	 tube, has a maximum OD of

accessible, and widely acceptable female 	0.053 inches (1.27mm).  The

sterilisation option, the Adiana System 	matrix is a cylindrical shape of

was develpoed as the next generation 	approx. 1.60 mm in diameter of

trancervical device.  The intention was to 	approx. 0.44mm is created

further improve the safety profile of the 	within the centre of the matrix.

trancervical device.  The Adiana System

can be placed in the day procedure setting

without the use of general or regional

Prostheses List by Category, Groups and Sponsor	Page 816 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Clips, Vascular

B Braun Australia Pty Ltd

BB016	Challenger Ligating Clips	Challenger Ligating Clips Titanium 	Medium-large	$65.00	Temporary Approval

Group 1- Bare Metal Stents

Group 1c - Self expandable

n, ds

Abbott Australasia Pty Ltd

AY035	Absolute Pro (Long Length)	Laser cut nitinol self expanding stent 	Diameter 5mm to 10mm; length 	$2,100.00

120mm

n, l

Abbott Australasia Pty Ltd

AY036	Absolute Pro (Long Length)	Laser cut nitinol self expanding stent <150	Diameter 5mm to 10mm; length 	$2,970.00

150mm, 170mm, 200mm

n, re

Invatec Technology Center GmbH

IV002	Cristallo Ideale Carotid Self Expanding 	Cristallo Ideale  Nitinol, Carotid Self 	Cylinder Diameter: 7.0mm - 	$1,800.00	$3,280.00

Stent System	Expanding Hybrid Stent system, 5F 	11.0 mm. Taper Diameter

introducer sheath compatible, Rapid 	6.0/9.0 - 7.0/10.0. Length

Exchange design, .014" guide wire

compatible. Hybrid stent means open cell

designs in the distal and proximal sections

enhance conformability and reduce radial

force in healthy vessel segments. Closed

cell design in the central part secures the

appropriate scaffolding and prevents

plaque prolapse.

William A Cook Australia Pty Ltd

WC278	Zilver Vascular Stent with Rapid 	Zilver Stent Vascular Design, self-	Delivery System 5Fr, 125cm. 	$1,800.00

Exchange Delivery System	expandable nitinol stent. Preloaded in a 	Stent diameter 4mm-10mm.

5.0 French Rapid Exchange delivery 	Stent length 2cm-8cm.

Prostheses List by Category, Groups and Sponsor	Page 817 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

o

Boston Scientific Australia Pty Ltd

BS167	Wallstent RP; Placehit Stent	Tracheobronchial, Iliac, Biomedical 	6-20mm; length 18-90mm	$1,800.00

Superalloy Wire, Braided Mesh, Stainless

Steel Stent with Unistep Delivery System

o, cw

Boston Scientific Australia Pty Ltd

BS168	Wallstent RP	Tracheobronchial, Iliac, Biomedical 	20-24mm; length 18-90mm	$1,800.00	$2,400.00

Superalloy Wire, Braided Mesh, Stainless

Steel Stent with Unistep Delivery System

Group 2 - Stent Grafts

Group 2a1 - Proximal Vessels - Tube (Thoracic Aorta)

s, p

William A Cook Australia Pty Ltd

WC275	Zenith TX2 TAA Endovascular Graft 	Short Thoracic Proximal Graft	Diameter 22mm - 42mm. 	$11,027.00

with Pro_Form and the Z-Trak Plus 	Length 115mm - 162mm

Introduction System - Short Proximal

s, p, l

William A Cook Australia Pty Ltd

WC276	Zenith TX2 TAA Endovascular Graft 	Long Thoracic Proximal Endovascular 	Diameter 28mm-42mm Length 	$14,500.00

with Pro-Form and the Z-Trak Plus 	197mm-216mm

Introduction System - Long Proximal

Group 2a3 - Proximal Vessels - Tube (Aortic-Uni-Iliac)

n, p

Medtronic Australasia Pty Ltd

MC153	Talent AAA Aorto Uni lliac Stent Graft	Talent Endoluminal Stent Graft System - 	22 - 36mm x 75 - 310mm	$10,200.00

AUI  Tapered System.

MC847	Endurant Aorto-Uni-Iliac (AUI)	Endurant Endoluminal Stent Graft System	23 - 36mm X 120mm	$10,200.00

- AUI

s, p

William A Cook Australia Pty Ltd

WC235	Zenith Renu AAA Ancillary Graft - 	Stent graft indicated for the repair of in 	Proximal diameter 22-36mm, 	$10,200.00

Converter	situ AAA stent grafts	distal diameter 12mm, lengths

108-125mm

Prostheses List by Category, Groups and Sponsor	Page 818 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 2b - Proximal Vessels - Bifurcated

s, p

William A Cook Australia Pty Ltd

WC277	Zenith Flex AAA Endovascular Graft 	Zenith Flex with Z-trak main body - AAA 	Diameter - 22mm - 36mm. 	$5,794.00

with the Z-Trak Introduction System - 	endovascular graft	Length 82mm - 149mm.

Group 2e - Proximal Vessels - Accessory components (aortic)

s, p

William A Cook Australia Pty Ltd

WC188	Zenith Thoracic Endovascular Graft	Thoracic Body Extension	22mm to 42mm diameter; 	$6,300.00

77mm to 81mm length

WC274	Zenith TX2 TAA Endovascular Graft 	Thoracic Proximal Extension	Diameter - 22mm - 42mm 	$6,300.00

with Pro-Form and the Z-Trak Plus 	Length - 77mm - 81mm

Introduction System (thoracic body

Group 3 - Grafts

Group 3a - Tube

Bio Nova International Pty Ltd

BN017	Omniflow II Vascular Prostheses - 	Vascular Prostheses - Straight	5-8mm x 45-55cm	$970.00	$3,357.00

BN019	Omniflow II Vascular Prosthesis - 	Vascular Prostheses- Straight	5-8mm  x 20-40cm	$860.00	$3,301.00

St. Jude Medical Australia Pty Ltd

SJ219	Intergard W – Woven straight	Woven straight	6-8mm, 30cm	$860.00	$1,022.00

SJ224	InterGard Knitted Ultrathin	Straight	6-8mm X 40cm	$860.00	$921.00

SJ226	Interflow UltraThin	ePTFE vascular graft	6-8mm X 40cm	$860.00	$940.00

W L Gore & Associates

GT241	Gore-Tex Vascular Graft	Stretch Standard Wall Graft (ePTFE)	6 & 8mm x 40cm	$638.00

Di

Bio Nova International Pty Ltd

BN018	Omniflow II Vascular Prosthesis - 	Vascular Prostheses- Straight	9 - 10mm  x 20-40cm	$921.00	$2,954.00

St. Jude Medical Australia Pty Ltd

SJ220	Intergard W – Woven Straight	Woven Straight	10-34mm, 15-30cm	$967.00

SJ222	Intergard K Knitted Straight	Knitted straight	20-40cm, 10-24mm	$921.00

Prostheses List by Category, Groups and Sponsor	Page 819 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

W L Gore & Associates

GT240	Gore-Tex Vascular Graft	Stretch Standard Wall Graft (ePTFE)	10mm x 40cm	$638.00

e, r, 3, 2, h

W L Gore & Associates

GT218	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6mm diameter 30cm Removable	$1,800.00

Ring - 70cm length

L

Bio Nova International Pty Ltd

BN013	Omniflow II Vascular Prostheses - 	Vascular Prostheses - Straight	5-8mm x 60-65cm	$970.00	$4,348.00

St. Jude Medical Australia Pty Ltd

SJ225	InterGard Knitted Ultrathin	Straight	6-8mm X 70cm	$970.00

SJ227	Interflow UltraThin	ePTFE vascular graft	6-8mm X 80cm	$970.00

W L Gore & Associates

GT237	Gore-Tex Vascular Graft	Standard Wal Grafts(ePTFE)	5mm-8mm diameter, 70-80cm 	$970.00

length

GT239	Gore-Tex Vascular Graft	Standard Wall Grafts (ePTFE)	5-8mm diameter, 90-100cm 	$970.00	$1,070.00

GT243	Gore-Tex Stretch Standard Walled 	Stretch Standard Walled Graft (ePTFE)	6-8mm diameter, 80cm length	$970.00	$1,070.00

Vascular Graft

GT245	Gore-Tex Stretch Thin Walled Vascular 	Thin Wall Graft Stretch (ePTFE)	6-8mm diameter, 70cm length	$970.00

Graft

GT247	Gore-Tex Vascular Graft	Thin Wall Graft Stretch (ePTFE)	6-8mm diameter, 80cm length	$970.00	$1,070.00

GT249	Gore-Tex Vascular Graft	Thin Wall Grafts (ePTFE)	4-8mm diameter, 80cm length	$970.00	$1,070.00

GT251	4-8mm Thin Walled Vascular Graft	Thin Walled Graft (ePTFE)	4-8mm x 90-100cm	$970.00	$1,070.00

L, Di

Bio Nova International Pty Ltd

BN016	Omniflow II Vascular Prostheses - 	Vascular Prostheses - Straight	9-10mm x 45-55cm	$1,075.00	$3,357.00

St. Jude Medical Australia Pty Ltd

SJ221	Intergard W – Woven Straight	Woven Straight	10-32mm, 60-70cm	$1,075.00

SJ223	Intergard K Knitted straight	Knitted straight	10mm 70cm	$970.00

W L Gore & Associates

GT236	Gore-Tex Vascular Graft	Standard Wall Grafts (ePTFE)	10mm diameter, 70-80cm length	$1,075.00

GT238	Gore-Tex Vascular Graft	Standard Wal Grafts (ePTFE)	10mm diameter, 90-100cm length	$1,075.00

Prostheses List by Category, Groups and Sponsor	Page 820 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT242	Gore-Tex Stretch Standard Walled 	Stretch Standard Wall Graft (ePTFE)	10mm diameter, 80cm length	$1,075.00

Vascular Graft

GT244	Gore-Tex Stretch Thin Walled Vascular 	Thin Wall Graft Stretch (ePTFE)	10mm diameter, 70cm length	$1,075.00

Graft

GT246	Gore-Tex Stretch Thin Walled Vascular 	Thin Wall Graft Stretch (ePTFE)	10mm diameter, 80cm length	$1,075.00

Graft

GT248	Gore-Tex Vascular Graft	Thin Wall Grafts (ePTFE)	10mm diameter, 80cm length	$1,075.00

GT250	10mm Thin Walled Vascular Graft	Thin Walled Graft (ePTFE)	10mm x 90-100cm	$1,075.00

L, r

Atrium Australia - Pacific Rim Pty Limited

AC045	Advantra PTFE Vascular Graft	Trilaminate PTFE Graft with Graft 	4 - 8mm diameter 50cm - 	$1,630.00	$3,384.00

Deployment System	100cm lengths

St. Jude Medical Australia Pty Ltd

SJ229	Interflow Ultrathin Radially Supported	ePTFE vascular graft with radial support	6-8mm X 80cm	$1,159.00

W L Gore & Associates

GT253	Gore-Tex Stretch Removable Ringed 	Stretch Removable Ringed Thin Walled 	8mm diameter, 40cm length, 	$1,630.00

Vascular Graft	Graft (ePTFE)	30cm removable ringed section

L, r, h

W L Gore & Associates

GT234	Gore-Tex Stretch Propaten with 	Stretch Thin Walled (ePTFE), Heparin 	6mm diameter, 70cm length, 	$1,630.00	$1,834.00

Removable Rings Vascular Graft	Bonded, Graft with Removable Rings	60cm ringed section

GT254	Gore-Tex Stretch Propaten Vascular 	Stretch Thin Walled Graft, Removable 	6-8mm diameter, 80cm length, 	$1,630.00	$1,960.00

Rings (ePTFE), Heparin Bonded	60-70cm Ringed Section

L,Di

Bio Nova International Pty Ltd

BN012	Omniflow II Vascular Prostheses - 	Vascular Prostheses - Straight	9-10mm x 60-65cm	$1,075.00	$3,891.00

r

Atrium Australia - Pacific Rim Pty Limited

AC043	Advantra PTFE Vascular Graft	Trilaminate PTFE Graft with Graft 	4mm - 8mm diameter, 10cm - 	$1,520.00	$3,384.00

Deployment System	45cm length

St. Jude Medical Australia Pty Ltd

SJ228	Interflow Ultrathin Radially Supported	ePTFE vascular graft with radial support	6-8mm X 40cm	$1,159.00

Prostheses List by Category, Groups and Sponsor	Page 821 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

W L Gore & Associates

GT252	Gore-Tex Stretch Removable Ringed 	Stretch Removable Ringed Thin Walled 	8mm diameter, 40cm length, 	$1,520.00

Vascular Graft	Graft (ePTFE)	30cm removable ringed section

r, Di

Atrium Australia - Pacific Rim Pty Limited

AC044	Advantra PTFE Vascular Graft	Trilaminate PTFE Aortic Graft with 	12mm - 24mm diameter 30cm 	$1,211.00	$3,384.00

hydrostatic membrane	length

r, h

W L Gore & Associates

GT235	Gore-Tex Propaten Vascular Graft	Stretch (ePTFE), Heparin Bonded, Graft	8mm diameter, 40cm length	$1,520.00

GT255	Gore-Tex Stretch Propaten Vascular 	Stretch Thin Walled Graft, Removable 	8mm diameter, 40-50cm length, 	$1,520.00	$1,700.00

Rings (ePTFE), Heparin Bonded	30-40cm Ringed Section

r, id

Atrium Australia - Pacific Rim Pty Limited

AC048	Advantra PTFE Vascular Graft with 	Trilaminate PTFE. Vascular Access 	4mm - 8mm diameter. 10cm - 	$1,720.00	$3,000.00

Graft Deployment System	40cm length

Group 3d - Tapered or End-modified

e, r, 3, 2

W L Gore & Associates

GT214	Gore-Tex Intering Vascular Graft	Internally radially supported vascular 	4-6 tapered diameter 38cm radial	$842.00

graft (ePTFE)	 support length 45cm length; 4-7

tapered diameter 38cm radial

support length 45cm length;

6mm diameter 40cm radial

support length 40cm length

L, r

Atrium Australia - Pacific Rim Pty Limited

AC046	Advantra PTFE Vascular Graft	Tapered Trilaminate PTFE Graft with 	4mm - 8mm diameter 50cm - 	$875.00	$3,384.00

Graft Deployment System	80cm lengths

r

Atrium Australia - Pacific Rim Pty Limited

AC047	Advantra PTFE Vascular Graft	Tapered Trilaminate PTFE Graft with 	4mm - 8mm diameter, 10 - 	$875.00	$3,384.00

Graft Deployment System	40cm lengths

Prostheses List by Category, Groups and Sponsor	Page 822 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

r, L, id

Atrium Australia - Pacific Rim Pty Limited

AC049	Advantra PTFE Vascular Graft with 	Trilaminate PTFE. Vascular Access Graft	4mm - 8mm diameter. 50 - 	$1,720.00	$3,000.00

Graft Deployment System	80cm length

Group 4 - Patches

Group 4a - Biological

1

Bio Nova International Pty Ltd

BN020	Omniflow II Vascular Prostheses - 	Vascular Patch	1.5cm x 5cm (less than 8 sq. 	$600.00	$672.00

2

Bio Nova International Pty Ltd

BN021	Omniflow II Vascular Prostheses - 	Vascular Patch	2.5cm x 10cm (more than 8 sq. 	$744.00	$875.00

Group 4b - Synthetic

1

Atrium Australia - Pacific Rim Pty Limited

AC041	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch	6 sq cm	$205.00	$270.00

Bard Australia Pty Ltd

BA090	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	100 x 150mm	$764.00	$787.00

BA091	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	50 x 75mm	$372.00	$383.00

Rectangular

BA092	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	50 x 150mm	$372.00	$383.00

Rectangular

BA095	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	25 x 150mm	$313.00	$322.00

Rectangular

Terumo Corporation Australia

TU042	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, 	6-15mm x 5-7.5cm	$205.00	$233.00

Koper Knitted

2

Atrium Australia - Pacific Rim Pty Limited

AC042	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch	19 – 76 sq cm	$250.00	$357.00

Bard Australia Pty Ltd

BA031	Grafts Vascular	Polyester soft tissue patch 1mm thick 	5cm x 10cm	$153.00	$158.00

Prostheses List by Category, Groups and Sponsor	Page 823 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA032	Grafts Vascular	Polyester soft tissue patch 1mm thick 	10cm x 15cm	$286.00	$295.00

BA033	Grafts Vascular	Polyester soft tissue patch 1mm thick 	15cm x 20cm	$388.00	$400.00

BA034	Grafts Vascular	Polyester soft tissue patch 1mm thick 	20cm x 30cm	$459.00	$473.00

BA035	Grafts Vascular	PTFE Felt 2mm thick	5cm x 10cm	$153.00	$158.00

BA036	Grafts Vascular	PTFE Felt 2mm thick	10cm x 15cm	$286.00	$295.00

BA037	Grafts Vascular	PTFE Felt 2mm thick	15cm x 20cm	$388.00	$400.00

BA038	Grafts Vascular	PTFE Felt 2mm thick	20cm x 30cm	$459.00	$473.00

Terumo Corporation Australia

TU043	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, 	10-15mm x 7.5-10cm	$250.00

Koper Knitted

W L Gore & Associates

GT012	Soft Tissue Patch	ePTFE	1mm Thickness 5 x 10cm	$225.00

GT013	Soft Tissue Patch	ePTFE	1mm Thickness 10 x 15cm	$661.00

GT014	Soft Tissue Patch	ePTFE	1mm Thickness  15 x 20cm	$1,192.00

GT015	Soft Tissue Patch	ePTFE	1mm Thickness 20 x 30cm	$2,083.00

GT016	Soft Tissue Patch	ePTFE	2mm Thickness 5 x 10cm	$369.00

GT017	Soft Tissue Patch	ePTFE	2mm Thickness 10 x 15cm	$894.00

GT018	Soft Tissue Patch	ePTFE	2mm Thickness 15 x 20cm	$1,630.00

GT019	Soft Tissue Patch 	ePTFE	2mm Thickness 20 x 30cm	$2,808.00

Group 9 - Long-term Vascular Access Devices

Group 9a - Percutaneous Catheters - single lumen

William A Cook Australia Pty Ltd

WC279	Turbo-Ject Peripherally Inserted Central	4/5 Fr Single Lumen Polyurethane PICC 	4 and 5 French, 60 cm catheter 	$165.00

Catheter Set ( Single Lumen)	with Micropuncture Peel-Away Sheath 	length, single lumen catheter

Introducer and Echogenic needle

Group 9b - Percutaneous Catheters - multiple lumen

Bard Australia Pty Ltd

BA130	Vascular Catheter	PICC- may include a Groshong Valved - 	Dual Lumen 4Fr - 7Fr	$211.00	$217.00

Closed ended PICC, Single Lumen 4Fr-

Prostheses List by Category, Groups and Sponsor	Page 824 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

William A Cook Australia Pty Ltd

WC280	Turbo-Ject Peripherally Inserted Central	4/5 Fr Double Lumen Polyurethane PICC 	4 and 5 French, 60 cm Catheter 	$225.00

Catheter Set ( Double Lumen)	with Micropuncture Peel-Away Sheath 	length, double lumen catheter

Introducer and Echogenic needle

cu

Bard Australia Pty Ltd

BA126	Groshong Catheter	Single Lumen, Sizes 5fr-9.5fr Groshong 	Dual Lumen, sizes 5fr-9.5fr	$376.00	$387.00

Valved-Closed ended catheter

Mayo group

CM023	Arrow Cannon II Plus Chronic 	Dual Lumen, Retrograde Tunneled, 	15Fg x 24 - 55cm	$450.00

Haemodialysis Catheter Set	Cuffed, Tip First, Chronic Haemodialysis

Group 9c - Infuser Ports - single chamber

pi

Denward Dell Pty Ltd TA Surimex

DW007	pfm Contrast Port	High pressure injection port system: 	Port: length 32.1mm, width 	$630.00

plastic or plastic/titanium port with 	23.6mm, height 13.2mm.

silicone mebrane; connectable 	Catheter: 6.6 or 8.4 French,

polyurethane catheter; introducer kit

Internal Embolisation, intravascular

Device Technologies Australia Pty Ltd

DE275	DC Bead	Drug delivery embolisation system	100-300, 300-500, 500-700, 	$1,650.00	$1,950.00	Product only to be used for

700-900 (microns)	embolic procedures.

Morton Surgical Pty Ltd t/a Matrix Surgical Company

MG030	Haemostatic Ligating Clips	Titanium Ligating Clips	Small - Large (6 Clips per 	$8.00

MG031	Haemostatic Ligating Clips	Titanium Ligating Clips	Small, medium (24 clips per 	$32.00

Prostheses List by Category, Groups and Sponsor	Page 825 of 865

VASCULAR

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Neurointerventional Coils

ev3 Australia Pty Ltd

EE023	Axium Detachable Coil System	Platinum alloy coils attached to a 	Diameter:  1.5 - 25mm; Length: 	$1,950.00

composite implant delivery pusher with a 	 1 - 50cm

radiopaque positioning marker.  The

proximal end of the pusher is loaded into

the Actuator which detaches the coil.

Prostheses List by Category, Groups and Sponsor	Page 826 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 1: Bare Metal Stents

Group 1a: Balloon Expandable, pre mounted

co

B Braun Australia Pty Ltd

BB244	Coroflex Blue	Cobalt Chromium Alloy L605	2-4mm diameter, 8-25mm 	$1,100.00

Biotronik Australia Pty Ltd

BT099	PRO-Kinetic Explorer	Rapid Exchange, Balloon expandable 	Diameter:  2.0mm - 5.0mm; 	$1,800.00	$2,100.00

cobalt chromium (L-605) peripheral stent 	Length:  10mm - 40mm

- passive coating - 0.014" / RX

Invatec Technology Center GmbH

IV001	Chromis deep cobalt Chromium, 	Chromis deep - Cobalt Chromium, pre-	Diameter: 2.0 mm 4.0mm 	$1,800.00

infrapopliteal OTW stent	mounted balloon expandable, 0.014" 	Length: 10mm - 76mm

compatable stent

Johnson & Johnson Medical Pty Ltd

JJ567	PALMAZ® BLUE™ .018 Peripheral 	L605 Cobalt Chromium Alloy Balloon 	12, 15, 18, 24mm length 4, 5, 6,	$1,800.00

Stent System	Expandable Stent	 7mm diameter

Medtronic Australasia Pty Ltd

MC328	Racer Renal Stent System	Cobalt Alloy	Diameter: 4-7mm; Lengths: 12 	$1,800.00	Temporary approval, pending

&18mm	review of product group

MC773	Assurant Cobalt Stent	Iliac balloon expandable stent system	Diameter:  6 - 10mm , Length:  	$1,800.00

20 - 80mm

co,re

Johnson & Johnson Medical Pty Ltd

JJ688	Palmaz Blue .014 Renal Stent System 	CoCr balloon expandable stent	12, 15, 18, 24mm Lengths        	$1,800.00

(on Aviator Plus)	                                40, 50,

60, 70mm diameters

80, 142cm shaft

lengths

n

Medtronic Australasia Pty Ltd

MC729	Bridge Assurant Stents: Balloon 	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 	$1,800.00

Expandable Stent Delivery System	- 80mm

Prostheses List by Category, Groups and Sponsor	Page 827 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

o, ca

Medical Vision Australia Pty Ltd

MF015	CP Stent	CP Stent Uncovered	16, 22, 28, 24, 39 & 45mm 	$2,500.00

MF017	CP Stent	CP Stent Uncovered, mounted on BIB 	16, 22, 28, 24, 39 & 45mm 	$3,600.00

s

Abbott Australasia Pty Ltd

AY024	Omnilink Stainless Steel Balloon 	Stainless Steel Balloon Expandable 	018 & 035 system: 5-10mm 	$1,800.00

Deployable Peripheral Stent	Peripheral Stent on 018/035 system	diameter by 12, 16, 18, 28, 38,

58mm length

Bard Australia Pty Ltd

BA190	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 15mm - 18mm, 	$1,800.00

included in delivery system: nylon 	0.035 compatible

balloon, stent and deployment system

BA191	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 19mm - 27mm, 	$1,800.00

included in delivery system: nylon 	0.035 compatible

balloon, stent and deployment system

BA192	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 28mm - 37mm, 	$1,800.00

included in delivery system: nylon 	0.035 compatible

balloon, stent and deployment system

BA193	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 38mm - 56mm, 	$1,800.00

included in delivery system: nylon 	0.035 compatible

balloon, stent and deployment system

BA194	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 15mm - 18mm, 	$1,800.00

included in delivery system: nylon 	0.018 compatible

balloon, stent and deployment system

BA195	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 19mm - 27mm, 	$1,800.00

included in delivery system: nylon 	0.018 compatible

balloon, stent and deployment system

BA196	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items 	Stent Length  28mm - 37mm, 	$1,800.00

included in delivery system: nylon 	0.018 compatible

balloon, stent and deployment system

BA197	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items 	Stent Length 38mm - 56mm, 	$1,800.00

included in delivery system: nylon 	0.018 compatible

balloon, stent and deployment system

Prostheses List by Category, Groups and Sponsor	Page 828 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biotronik Australia Pty Ltd

BT094	Dynamic	PTA Balloon Expandable Stent	5-10mm diameter / 15, 25, 38, 	$1,800.00	$1,950.00

56mm lengths

Johnson & Johnson Medical Pty Ltd

JJ057	Palmaz Balloon Expandable Stent	Stainless steel stent	Diameter 4-12mm, length 20-	$1,600.00

JJ058	Palmaz Balloon Expandable Stent	Stainless steel stent	Extra-large	$1,800.00

JJ304	Palmaz Genesis Peripheral Stent and 	Stainless steel balloon expandable stent 	Diameter 3-8mm, length 12-39mm	$1,800.00

Delivery System on Slalom	mounted on a slalom balloon

JJ305	Palmaz Genesis Peripheral Stent and 	Stainless steel balloon expandable stent 	Diameter 4-8mm, length 12-39mm	$1,800.00

Delivery System on Opta Pro	mounted on an Opta Pro Balloon

JJ306	Palmaz Genesis Peripheral Stent	Stainless steel peripheral stent	Diameter 4-12mm, length 11-	$1,780.00

s,re

Boston Scientific Australia Pty Ltd

BS059	Express Vascular LD Stent; Express 	Stainless Steel, Balloon Expanding Stent	Diameter 4mm - 10mm, Length 	$1,800.00

Vascular SD Stent	14mm - 60mm

Johnson & Johnson Medical Pty Ltd

JJ479	PALMAZ GENESIS on CORDIS 	Peripheral balloon expandable stent and 	Lengths: 12, 15, 18, 24mm. 	$1,800.00

AMIIA RX .014 Delivery System	rapid exchange delivery system	Diameter: 4, 4.5, 5, 5.5, 6, 6.5,

William A Cook Australia Pty Ltd

WC234	Formula 414 Rx Renal Stent System	Balloon Expandable Vasc/Biliary Stent	Rapid exchange 014/018, 80-	$1,800.00

135cm delivery system.

Diameters 4-10mm, lengths 0.8

Group 1c: Self expandable

n

Abbott Australasia Pty Ltd

AY031	Xpert	Xpert is a laser cut nitinol self expanding 	3 - 8mm in diameter, 20 - 80mm	$1,800.00

stent, used to treat peripheral vessel 	 in length

disease, Xpert is a low profile system

designed for small vessels and is 4 french.

Bard Australia Pty Ltd

BA178	Luminex Vascular Stent	Luminex nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 	$1,800.00

12cm lengths

BA199	Lifestent	Laser cut nitinol self expanding stent, 	Diameter: 6-8mm, Length: 120mm	$1,800.00	$2,100.00

used to treat peripheral disease

Prostheses List by Category, Groups and Sponsor	Page 829 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Biotronik Australia Pty Ltd

BT072	Astron	Peripheral self expanding nitinol, coated 	Dia: 6 - 12mm, Len: 30 - 	$1,800.00

BT103	ASTRON PULSAR	The Astron Pulsar is a nitinol self 	4-12.0mm by 20-200mm	$1,800.00	$2,400.00

expanding stent, used to treat peripheral

vessel disease. Is 4Fr compatible and a

rapid exhange delivery system

Boston Scientific Australia Pty Ltd

BS077	Sentinol Nitinol Vascular Stent System	Nitinol Stent with Uniflex Delivery 	Diameter: 5 to 10mm. Length: 	$1,800.00

20 to 120mm

BS137	EPIC Nitinol Stent	Implantable endoprosthesis nitinol stent 	5.0mm - 14.0mm by 20mm - 	$1,800.00

system with delivery system	120mm

Endotherapeutics Pty Ltd

ET037	SX-Ella Endovascular Stent	Uncovered, self-expanding nitinol stent	Dia 6-16mm, length 22-77mm	$1,800.00	$2,200.00

Johnson & Johnson Medical Pty Ltd

JJ068	SMART .018" Peripheral Stent System	Nitinol carotid stent and delivery system	6 - 10 mm	$1,800.00

JJ235	SMART Peripheral stent system	Laser cut nitinol tube.  Available in long 	Dia 6 - 8mm, length 120mm	$1,800.00

stents to treat large vessel lesions.

Medtronic Australasia Pty Ltd

MC146	Exponent RX Self Expanding Carotid 	Nitinol	Diameter: 6 - 10mm, Length: 20 	$1,800.00

Stent Delivery System	- 40mm

MC702	Aurora Stents: Self Expanding Stent 	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 	$1,800.00

Delivery System	- 80mm

MC743	Complete SE Stent	Nitinol	20mm - 80mm	$1,800.00	$2,100.00

MC744	Complete SE Stent	Nitinol	100mm - 120mm	$1,800.00	$2,100.00

Pyramed (Australia) Limited

PY005	Optimed Iiiac Sinus Stent	Sinus-wave nitinol stent	4 - 12mm x 30 - 100mm	$1,800.00

PY006	Optimed Femoral Sinus Stent	Sinus-wave nitinol Stent	4 - 12mm x 30-100mm	$1,800.00

William A Cook Australia Pty Ltd

WC168	Cook Vascular/Biliary Stent	Vascular/Biliary stent	5/6 Fr delivery system, 4 - 	$1,800.00

14mm diameter, 2 - 8cm length

n, ds

Abbott Australasia Pty Ltd

AY021	Nitinol Self Expanding Peripheral Stent	Nitinol	Diameter 3-10mm	$2,100.00

Prostheses List by Category, Groups and Sponsor	Page 830 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Bard Australia Pty Ltd

BA185	Lifestent	Laser cut nitinol self expanding stent, 	Diameter:  6-10mm, Length:  	$2,100.00

used to treat peripheral disease	20-100mm

BA198	Lifestent Peripheral Stent	Stent: Nitinol composition with tanilum 	6-8mm Diameter, length 20-90mm	$2,100.00

markers, Items included in the delivery

system: Stent, deployment system

ev3 Australia Pty Ltd

EE024	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding 	Diameter 5-8, Length 20-	$2,100.00	$2,400.00

Nitinol stent premounted on an OTW

Johnson & Johnson Medical Pty Ltd

JJ419	SMART Control Peripheral Stent 	SMART Control is a laser cut nitinol self 	Dia 6 – 14mm; Length 20 – 	$2,100.00

expanding stent, used to treat peripheral

vessel disease.

JJ592	SMART Nitinol Stent System	Long 120mm Stent, 6F compatible	6-8mm diameter, 120mm stent 	$2,100.00

length, 120cm delivery system

n, re

Abbott Australasia Pty Ltd

AY015	Xact/ Xact Flex Carotid Stent	Nitinol Self-Expanding stent on rapid 	Diameter 7-10mm Length 20 + 	$1,800.00

exchange delivery system	30mm Straight; Diameter 8-6, 9-

7, 10-8mm Length 20 + 30mm

Tapered

AY032	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm 	$1,800.00

ev3 Australia Pty Ltd

EE006	Protégé GPS Peripheral Stent	Protégé RX Peripheral Stent	Diameter 6-10mm Length 20-	$1,800.00

n, re, ds

Johnson & Johnson Medical Pty Ltd

JJ463	PRECISE RX Nitinol Stent System	Nitinol self expandable stent and repid 	Stent Lengths 20, 30, 40mm; 	$2,100.00

exchange delivery system	Stent Diameter: 5, 6, 7, 8, 9,

JJ646	Precise Pro Rx Nitinol Stent System	Nitinol self expanding stent	Diameter:  5, 6, 7, 8, 9, 10mm;  	$2,100.00

Length:  20, 30, 40mm

n,l

Bard Australia Pty Ltd

BA200	Lifestent	Laser cut nitinol self expanding stent, 	Diameter: 6-8mm, Length: 150mm	$2,970.00

used to treat peripheral disease

Prostheses List by Category, Groups and Sponsor	Page 831 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA201	Lifestent	Laser cut nitinol self expanding stent, 	Diameter: 6-8mm, Length:170mm	$2,970.00

used to treat peripheral disease

ev3 Australia Pty Ltd

EE025	Protégé EverFlex Peripheral Stent	Protégé EverFlex is a self expanding 	Diameter 5-8mm, Length 150-	$2,970.00

Nitinol stent premounted on an OTW 	200mm

Johnson & Johnson Medical Pty Ltd

JJ617	SMART Nitinol Stent System	Long 150mm stent, 6F compatible	6-8mm diameter, 150mm length,	$2,970.00

120cm delivery system

Medtronic Australasia Pty Ltd

MC760	Complete SE Stent	Nitinol	150mm	$2,970.00

o

Boston Scientific Australia Pty Ltd

BS035	Expandable Endovascular Wallstent	Wallstent - Self-expanding stent, 	Stent Diameter x Stent Length: 	$1,800.00

cylindrical braided structure with core of 	6-16mm x 18-70mm

either tantalum or platinum

BS056	Carotid Wall Stent	Elgiloy (cobalt chromium), Flexible low 	Fully open diameter 6.0 - 	$1,800.00

profile and self expanding stent	10.0mm, Fully open length 22 -

Pacing Importers Pty Ltd - Life Systems

PI004	Stentself Stent	Phynox construction, adapted sizes & 	Dia 5 - 9mm  Length: 20 - 100mm	$1,800.00

diameters

o, re

Abbott Australasia Pty Ltd

AY022	Cobalt Chromium Balloon Expandable 	Cobalt Chromium	Diameter 4-10mm, Length 12-	$1,800.00

Peripheral Stent	58mm

Group 2: Stent Grafts

Group 2a1: Tube (Thoracic Aorta)

n, e , l

W L Gore & Associates

GT023	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	34, 37 & 40mm Diameter x 	$14,500.00

20cm Lengths

Prostheses List by Category, Groups and Sponsor	Page 832 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

n, p

Medical Specialties  Australia Pty Ltd

MS052	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material 	Diameter 22 - 46mm, Length 	$11,027.00	$13,500.00

Braided Polyester PFTE impregnated 	103 - 179mm

Suture Dual Sheath Delivery System

Medtronic Australasia Pty Ltd

MC206	Talent Thoracic Stent Graft	Talent Endoluminal Stent Graft - 	22 - 46mm x 130mm	$11,027.00

Thoracic Stent Graft System

MC747	Valiant Endovascular Stent Graft	Nitinol and polyester system	22-46mm diameter, 110mm 	$11,027.00

MC748	Valiant Endovasculat Stent Graft	Nitinol and polyester system	22-46mm diameter, 150mm 	$11,027.00

MC809	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, up to 179mm	$11,027.00

n, p, l

Medical Specialties  Australia Pty Ltd

MS053	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material 	Diamter 22 - 46mm,  Length 	$14,500.00	$18,400.00

Braided Polyester PFTE impregnated 	180 - 271mm

Suture Dual Sheath Delivery System

Medtronic Australasia Pty Ltd

MC810	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, 180 - 227mm 	$14,500.00

length

n,e

W L Gore & Associates

GT191	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	Diameter 26-40mm x  10cm 	$11,027.00	$13,400.00

o, e, ca

Medical Vision Australia Pty Ltd

MF016	CP Stent	CP Stent Covered	16, 22, 28, 24, 39 & 45mm 	$3,000.00

MF018	CP Stent	CP Stent Covered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm 	$4,300.00

p

William A Cook Australia Pty Ltd

WC159	Zenith TAA Endovascular Graft	TX1, one piece thoracic stent-graft, 	22 - 42mm diameter and 115 - 	$11,027.00

woven polyester and stainless steel	216mm long

Prostheses List by Category, Groups and Sponsor	Page 833 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

s, p

William A Cook Australia Pty Ltd

WC238	Zenith Thoracic Endovascular Graft	Thoracic Proximal Grft	22mm to 42mm diameter, 	$11,027.00

115mm to 179mm Length

WC240	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 	$11,027.00

127mm to 179mm Length

s, p, l

William A Cook Australia Pty Ltd

WC239	Zenith Thoracic Endovascular Graft	Thoracic Proximal Grft	22mm to 42mm diameter, 	$14,500.00

180mm to 216mm Length

WC241	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 	$14,500.00

180mm to 207mm Length

Group 2a2: Tube (Abdominal Aorta)

n, p

Medtronic Australasia Pty Ltd

MC850	Endurant AAA Abdominal Tube	Endurant Endoluminal Stent Graft System	23 - 36mm X 85mm	$4,850.00

- Abdominal Tube

s, p

William A Cook Australia Pty Ltd

WC232	Zenith Renu AAA Ancillary Graft - Main	Stent graft indicated for the repair of in 	Proximal diameter 22 - 36mm, 	$4,850.00

Body Extension	situ AAA stent grafts	Length (covered section) 43 -

Group 2b: Bifurcated

n, p

Medtronic Australasia Pty Ltd

MC148	Talent AAA Bifurcated Stent Graft	Endoluminal Stent Graft System -	24-36 x 8-24 x 140-170mm	$12,405.00

Bifurcated Graft & Contralateral Limb

MC845	Endurant AAA Stent Graft Bifurcation	Endurant Endoluminal Stent Graft System	23 - 36mm x 13 - 20mm x 135 -	$8,955.00

- Bifurcated Graft	185mm

Terumo Corporation Australia

TU002	Anaconda Endovascular Graft System	Bifurcated Aortic System, Ultrathin 	18 - 34mm	$12,405.00

woven polyester, nitinol ring stents,

Prostheses List by Category, Groups and Sponsor	Page 834 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

n,e

W L Gore & Associates

GT024	Excluder AAA Endovascular Prostheses	AAA Abdominal Stent Graft Nitinol & 	23-28.5mm Diameter, 14-18cm 	$7,440.00

ePTFE - two piece system (1/2) Trunk - 	Length

Ipsilateral Limb

s, p

William A Cook Australia Pty Ltd

WC049	Zenith AAA Endovascular Graft	Bifurcated Extension	Diameter 22-32 mm Length 	$4,870.00

122-239mm

WC133	Zenith Flex AAA Endovascular Graft - 	Stainless steel	Dia 22 - 32mm, length 82 - 	$5,794.00

body only

WC260	Zenith Fenestrated AAA Endovascular 	Distal Bifurcated Body	Diameter 12 - 24mm, 1st length 	$4,503.00

28 - 62mm, 2nd length 76 -

WC261	Zenith Fenestrated AAA Endovascular 	Distal Bifurcated Body with Flexor sheath	Diameter 12 - 24mm, 1st length 	$5,689.00

Graft with Flexor	28 - 62mm, 2nd length 76 -

Group 2c: Branched

William A Cook Australia Pty Ltd

WC233	Zenith Branch Endovascular Graft - Iliac	Bifurcated branch vessel stent graft with 	Common iliac lengths 45 or 	$7,500.00

Bifurcation	openings to connect the common iliac, 	61mm, external iliac lengths 41

sidebranch, and external iliac segments. 	or 58mm and distal cuff

Made of stainless steel and nitinol z-stents	diameters 10 or 12mm

and woven polyester, mounted on H&LB

one shot delivery system

Group 2d: Fenestrated

William A Cook Australia Pty Ltd

WC262	Zenith Fenestrated AAA Endovascular 	Proximal Fenestrated Body	1 or 2 internal stents, 24 - 	$8,561.00

36mm Diameter, 73 - 129mm

WC263	Zenith Fenestrated AAA Endovascular 	Proximal Fenestrated body with Flexor 	1 or 2 internal stents, 24 - 	$8,561.00

Graft with Flexor	36mm Diameter, 73 - 129mm

Prostheses List by Category, Groups and Sponsor	Page 835 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 2e: Accessory components (aortic)

Medtronic Australasia Pty Ltd

MC158	Talent Aortic Extension Stent Graft	Talent Endoluminal Stent Graft - Aortic 	22 - 36mm x 26 - 30mm	$2,555.00	$3,000.00

Extension

MC849	Endurant AAA Aortic Extension	Endurant Endoluminal Stent Graft System	23 - 36mm x 60mm	$2,555.00	$3,300.00

- Aortic Extension

W L Gore & Associates

GT189	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE -	Diameter 23 - 28.5mm, Length 	$2,555.00	$3,100.00

Aortic Extender	3.3cm

William A Cook Australia Pty Ltd

WC045	Zenith Endovascular Graft	Converter	Diameter 20 thru 36 Length 80-	$2,555.00

WC048	Zenith Endovascular Graft	Body Extensions	Diameter 22 thru 36	$2,555.00

WC160	Zenith TAA Endovascular Graft	Thoracic Proximal Extension	Dia 22 Length 77; Dia 24 Length	$6,300.00

77;Dia 26 Length 77; Dia 28

Length 80; Dia 30 Length 80;

Dia 32 Length 80; Dia 34 Length

77; Dia 36 Length 77; Dia 38

Length 77; Dia 40 Length 81

Diameter 42 Length 81

n, p

Terumo Corporation Australia

TU003	Anaconda Endovascular Graft System	Aortic Extension Cuff. Ultrathin woven 	18 - 34mm	$2,555.00

polyester, nitinol ring stents, tantalum

Group 2f: Accessory components (other including iliac limbs)

Medtronic Australasia Pty Ltd

MC203	Talent Occluder System	Nitinol stents attached to polyester graft 	Standard Sizes, 8 - 24mm x 31 -	$2,620.00

sealed both ends	 35mm

MC846	Endurant AAA Contralateral Iliac Limb	Endurant Endoluminal Stent Graft System	10 - 28mm X 80 - 120mm	$3,450.00

- Contralateral Iliac Limb

MC848	Endurant AAA Iliac Extension	Endurant Endoluminal Stent Graft System	10 -  28mm x 80mm	$3,260.00

- Iliac Extension

Prostheses List by Category, Groups and Sponsor	Page 836 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

William A Cook Australia Pty Ltd

WC047	Zenith Endovascular Graft	Leg Extensions	Diameter 18 thru 24 Length 55	$2,555.00

WC103	Zenith Iliac Plug	Zenith AAA Endovascular Graft	Diameter 14, 16, 18, 20, 22, 	$2,555.00

WC258	Zenith AAA Endovascular Graft 	Leg Extension	Diameters from 8 to 24mm, 	$2,308.00

Contralateral/Ipsilateral Lliac Legs	Lengths from 37 to 122mm

WC259	Zenith AAA Endovascular Graft 	Leg extension with Captor valve	Diameters from 8 to 24mm, 	$3,308.00

Contralateral/Ipsilateral Lliac Legs	lengths from 37 to 122mm

n, p

Terumo Corporation Australia

TU004	Anaconda Endovascular Graft System	Iliac Extension Cuff. Ultrathin woven 	8 - 18mm	$3,450.00

polyester, nitinol ring stents, tantalum

TU005	Anaconda Endovascular Graft System	Iliac Leg, Ultrathin woven polyester, 	8 - 18mm	$3,450.00

nitinol ring stents, tantalum markers

TU041	Anaconda Endovascular Graft System	Flared iliac limb.  Ultrathin woven 	Diameter: proximal end 12-	$3,450.00

polyester, nitinol ring stents, tantalum 	17mm, distal end 15-23mm;

Length:  80-130mm

n,e

W L Gore & Associates

GT188	Excluder AAA Endovascular Prostheses	AAA Stent Graft Nitinol & ePTFE Two 	Diameter 12 - 14.5mm x 10 x 	$3,522.00

piece system (2/2) Contralateral Limb	14cm Length

GT190	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE -	Diameter 10 - 14.5mm, Length 	$3,522.00	$3,700.00

Iliac Extender

Group 2g: Tube

Abbott Australasia Pty Ltd

AY010	JOStent Peripheral Stent Graft	Stainless Steel/PTFE	4 - 12 mm x 12 - 58m mm	$2,850.00

Atrium Australia - Pacific Rim Pty Limited

AC023	Advant PTFE V12 Stent Graft System	Balloon Expandable PTFE Encapsulated 	5mm - 12mm Diameter	$4,185.00

Stainless Steel Peripheral Vascular Stent

AC027	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated 	12 - 16 mm diameter 29mm 	$4,950.00

Stainless Steel Vascular Stent	length. 80cm and 120cm

AC028	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated 	12 - 16 mm diameter 41mm 	$5,695.00

Stainless Steel Vascular Stent	length. 80cm and 120cm

Prostheses List by Category, Groups and Sponsor	Page 837 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

AC029	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated 	12 - 16 mm diameter 61mm 	$6,280.00

Stainless Steel Vascular Stent	length. 80cm and 120cm

Bard Australia Pty Ltd

BA004	Encapsulated Carbon Lined Stent Graft	AV access PTFE covered nitinol self-	4mm - 10mm diameter, 3cm - 	$3,395.00

expanding stent	8cm length

BA005	Encapsulated Carbon Lined Stent Graft	Iliac / SFA PTFE covered nitinol self-	4mm - 10mm diameter, 3cm - 	$3,395.00

expanding stent	12cm length

W L Gore & Associates

GT029	Gore Tips Endoprosthesis	ePTFE	8-12mm Diameter 4-8cm Graft-	$4,000.00

Lined Length 2cm Unlined Length

h

W L Gore & Associates

GT225	Gore Viabahn ® endoprosthesis with 	Gore Viabahn ® endoprosthesis with 	5mmx2.5cm VIABAHN 120cm 	$3,000.00

heparin bioactive surface	heparin bioactive surface is a flexible, self	CATH

expanding endoluminal device consisting 	5mmx5cm VIABAHN 120cm

of an ePTFE lining with external nitinol 	CATH

6mmx2.5cm VIABAHN 120cm

CATH

6mmx5cm VIABAHN 75cm

CATH

6mmx5cm VIABAHN 120cm

CATH

7mmx2.5cm VIABAHN 120cm

CATH

7mmx5cm VIABAHN 75cm

CATH

7mmx5cm VIABAHN 120cm

CATH

8mmx2.5cm VIABAHN 120cm

CATH

8mmx5cm VIABAHN 75cm

CATH

Prostheses List by Category, Groups and Sponsor	Page 838 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT226	Gore Viabahn ® endoprosthesis with 	Gore Viabahn ® endoprosthesis with 	5mmx 15cm VIABAHN 120cm 	$4,025.00	$4,300.00

heparin bioactive surface	heparin bioactive surface is a flexible, self	CATH

expanding endoluminal device consisting 	6mmx 15cm VIABAHN 75cm

of an ePTFE lining with external nitinol 	CATH

6mmx 15cm VIABAHN 120cm

CATH

7mmx 15cm VIABAHN 75cm

CATH

7mmx 15cm VIABAHN 120cm

CATH

8mmx 15cm VIABAHN 75cm

CATH

8mmx 15cm VIABAHN 120cm

CATH

GT227	Gore Viabahn ® endoprosthesis with 	Gore Viabahn ® endoprosthesis with 	5mm x 10cm VIABAHN 120cm 	$3,495.00

heparin bioactive surface	heparin bioactive surface is a flexible, self	CATH

expandinbg endoluminal device 	6mm x 10cm VIABAHN 75cm

consisting of an ePTFE lining with 	CATH

6mm x 10cm VIABAHN 120cm

CATH

7mm x 10cm VIABAHN 75cm

CATH

7mm x 10cm VIABAHN 120cm

CATH

8mm x 10cm VIABAHN 75cm

CATH

8mm x 10cm VIABAHN 120cm

CATH

n, p

Medtronic Australasia Pty Ltd

MC160	Talent lliac Extension Graft	Talent Endoluminal Stent Graft - lliac 	8 - 26mm x 60 - 200mm	$4,025.00

Extension

n,e

W L Gore & Associates

GT020	Viabahn Endoprosthesis	ePTFE & Nitinol Self Expanding 	Viabahn 2.5mm - 13mm 	$3,000.00

Endoluminal Graft System	Diameter, 5cm Length;

Hemobahn 6 - 13mm Diameter,

GT021	Viabahn/Hemobahn Endoprosthesis	ePTFE & Nitinol Self Expanding 	Viabahn 2.5mm - 13mm, 10cm 	$3,395.00

Endoluminal Graft System	Length; Hemobahn 6 - 13mm

Diameter 10cm Length

Prostheses List by Category, Groups and Sponsor	Page 839 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT022	Viabahn/Hemobahn Endoprosthesis	ePTFE & Nitinol Self Expanding 	Viabahn 2.5mm - 13mm 	$4,025.00

Endoluminal Graft System	Diameter, 15cm Length;

Hemobahn 6 - 11mm Diameter,

Group 3: Grafts

Group 3a: Tube

Atrium Australia - Pacific Rim Pty Limited

AC002	Atrium PTFE Vascular Graft	Straight PTFE Standard Wall	6mm x 10cm - 10mm x 90cm	$860.00

AC004	Atrium PTFE  Vascular Graft	Vascular Access Graft PTFE Standard 	4mm x 10cm - 10mm x 100cm	$860.00

AC013	Atrium PTFE Vascular Graft	Straight PTFE Thin Wall	6mm x 10cm - 10mm x 90cm	$860.00

AC015	Atrium PTFE Vascular Graft	Vascular Access Graft PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	$860.00

AC018	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 15cm  - 24mm  x 30cm	$860.00

AC019	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 40cm  - 8mm  x 100cm	$860.00

B Braun Australia Pty Ltd

BB021	Vascular Uni - Graft	Vascular graft	40cm	$665.00

BB022	Vascular Uni - Graft	Vascular graft	30cm	$540.00

BB023	Vascular Uni - Graft	Vascular graft	20cm	$470.00

BB024	Vascular Uni - Graft	Vascular graft	15cm	$391.00

BB025	Vascular Uni - Graft	Vascular graft	10cm	$240.00

BB119	Vascugraft	PTFE, Straight Standard Wall	Dia 4 - 10mm, length 40 - 50cm	$860.00

BB126	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length10 - 40cm	$725.00

BB127	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 10 - 40cm	$725.00

BB142	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 40 - 60cm	$860.00

BB144	Vascugraft	Easy Glide - Thin Wall Straight	Dia 6 - 8mm, length 40 - 70cm	$860.00

Bard Australia Pty Ltd

BA020	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, 10 - 50cm long	3mm - 10mm diameter	$860.00

BA025	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, 10-50cm long	3 - 19mm diameter	$860.00

Bio Nova International Pty Ltd

BN004	Omniflow II Vascular Prosthesis - 	-	3 - 4 mm x 20 cm	$860.00	$1,775.00

BN023	Omniflow II Vascular Prosthesis - 	AV Access	5-8mm x 30-35c	$860.00	$2,685.00

Prostheses List by Category, Groups and Sponsor	Page 840 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Lifehealthcare Pty Ltd

LH004	Thoratec, Vectra Vascular Graft - 	Vectra, Biocompatible Polyurethane 	Length 40cm	$860.00

Vascular Access Graft

LH006	Thoratec, Vectra Vascular Graft - 	Vectra, Biocompatible Polyurethane 	Length 20cm	$860.00

Vascular Access Graft

St. Jude Medical Australia Pty Ltd

SJ107	InterGard HemaBridge	Aortic Graft	20 x 10mm - 36 x 10mm 	$860.00	$1,075.00

diameter, 35 x 40cm length

Terumo Corporation Australia

TU008	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	5 to10mm x 30 to 40cm	$870.00

Fluoropolymer/polyester, Knitted

TU020	Gelsoft Plus Graft	Straight, Polyester, Knitted	6 - 24mm x 12.5 - 30cm	$870.00

TU022	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 10-40cm	$870.00

TU025	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	$870.00

TU027	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	$870.00

W L Gore & Associates

GT009	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto -Pulmonary & 	3.5-5mm Diameter x 15-20cm 	$327.00

Systemic-Pulmonary Shunts (ePTFE)	Length

GT132	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 8mm, Length 	$198.00

GT138	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 8mm, Length 	$195.00

GT139	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20 -	$461.00

30cm

GT149	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 10cm	$245.00

GT150	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 20cm	$337.00

GT151	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 30cm	$526.00

GT152	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 40cm	$661.00

GT158	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 10cm	$255.00

GT159	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20cm	$347.00

GT160	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 30cm	$551.00

GT161	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 40cm	$661.00

GT167	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & 	Diameter 3.5 - 5mm, Length 	$221.00

Systemic-Pulmonary Shunts (ePTFE)

Stretch & Non Stretch

Prostheses List by Category, Groups and Sponsor	Page 841 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT168	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & 	Diameter 3.5 - 5mm, Length 	$262.00

Systemic-Pulmonary Shunts (ePTFE)

Stretch & Non Stretch

GT193	Gore-tex Vascular Grafts	Standard  Wall Grafts (ePTFE)	6-10mm Diameter x 40cm Length	$618.00

GT195	Gore-tex Vascular Graft	Standard wall grafts (ePTFE)	Diameter 6mm x 20cm length	$321.00

GT200	Gore-tex Vascular Graft	Standard wall grafts stretch (ePTFE)	Diameter 6-12mm x 20cm 	$332.00

Di

Bio Nova International Pty Ltd

BN022	Omniflow II Vascular Prosthesis - 	AV Access	9-10mm x 30-35cm	$921.00	$2,403.00

W L Gore & Associates

GT146	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 	$551.00

GT147	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 	$551.00

GT148	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 	$551.00

h

W L Gore & Associates

GT221	Gor-Tex Propaten Stretch Thin Walled 	Stretch Thin Walled Graft (ePTFE) - 	6-8mm diameter, non-Ringed 	$860.00

Vascular Graft	Heparin Bonded	40cm length

id

Terumo Corporation Australia

TU039	Rapidax™ Rapid Access Haemodialysis 	Triple layered self sealing haemodialysis 	6mm x 20-40cm	$1,300.00

Graft	Access Graft. ePTFE internal and

external layer with proprietary elastomer

inner layer - Straight and Pre-curved

id,L

Terumo Corporation Australia

TU040	Rapidax™ Rapid Access Haemodialysis 	Triple layered self sealing haemodialysis 	6mm x 45-50cm	$1,300.00

Graft	Access Graft. ePTFE internal and

external layer with proprietary elastomer

inner layer - Straight and Per-curved

L

B Braun Australia Pty Ltd

BB018	Vascular Uni - Graft	Vascular graft	100cm	$770.00

BB019	Vascular Uni - Graft	Vascular graft	60cm	$665.00

Prostheses List by Category, Groups and Sponsor	Page 842 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BB020	Vascular Uni - Graft	Vascular graft	50cm	$625.00

BB123	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 10mm, length 80cm	$970.00

BB124	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 8mm, length 90 - 100cm	$970.00

BB125	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 70 - 100cm	$970.00

BB141	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 70 - 80cm	$950.00

Bard Australia Pty Ltd

BA024	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, greater than 	3 - 10 diameter	$970.00

50cm long

BA026	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, greater than 	3 - 10mm diameter	$970.00

50cm long

Bio Nova International Pty Ltd

BN025	Omniflow II Vascular Prosthesis - 	AV Access	5-8mm x >45cm	$970.00	$3,383.00

Lifehealthcare Pty Ltd

LH005	Thoratec, Vectra Vascular Graft - 	Vectra, Biocompatible Polyurethane 	Length 50cm	$970.00

Vascular Access graft

Terumo Corporation Australia

TU006	Twillweave Graft	Straight, Polyester, Woven, Unsealed	6-24mm x 50-60cm	$860.00

TU009	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	5 to10mm x 50 to 70cm	$970.00

Fluoropolymer/polyester, Knitted

TU021	Gelsoft Plus Graft	Straight, Polyester, Knitted	6-24mm x 50-60cm	$970.00

TU023	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 50-60cm	$970.00

TU026	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	$970.00	$1,159.00

TU028	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	$970.00

W L Gore & Associates

GT136	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 80cm	$970.00	$1,070.00

GT143	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 70cm	$860.00

GT145	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 -	$970.00	$1,070.00

100cm

GT157	Gore-Tex Stretch Thin Walled Vascular 	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 -	$970.00	$1,070.00

Graft	 100cm

GT164	Gore-Tex Vascular Grafts	Thin wall grafts (ePTFE)	Dia 3 - 10mm, length 70cm	$970.00

Prostheses List by Category, Groups and Sponsor	Page 843 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

L, Di

Bio Nova International Pty Ltd

BN024	Omniflow II Vascular Prosthesis - 	AV Access	9-10mm x >45cm	$1,075.00	$3,028.00

L, h

W L Gore & Associates

GT222	Gortex Stretch Thin Walled Propaten 	Stretch Thin Wall Graft (ePTFE)- 	6-8mm diameter Non-Ringed 	$970.00	$1,200.00

Heparin Bonded	80cm length

L, r

B Braun Australia Pty Ltd

BB121	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 60 - 80cm	$990.00

BB122	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 90cm	$1,160.00

BB128	Vascugraft	Straight Standard Wall with Helix Support	Dia 6mm x  length 100cm	$1,260.00

BB129	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 80 - 90cm	$1,260.00

BB130	Vascugraft	Straight Standard Wall with Helix Support	Dia 4 - 6mm, length 50 - 70cm	$1,055.00

BB134	Vascugraft	Thin Wall Centre Helix	Dia 4 - 8mm, length 70 - 80cm	$1,045.00

BB137	Vascugraft	Standard with Centred Helix	Dia 4 - 8mm, length 70 - 90cm	$1,019.00

Bard Australia Pty Ltd

BA021	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin 	4 - 8mm diameter	$1,630.00

wall, greater than 50cm long

BA023	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular 	4 - 10mm diameter	$1,630.00

wall, greater than 50cm long

St. Jude Medical Australia Pty Ltd

SJ112	InterGuard UltraThin Knitted	Radially Supported Straight	6mm - 70cm to 8mm - 70cm	$1,230.00

Terumo Corporation Australia

TU035	SEALPTFE Graft	Thin Wall, Straight, Sealed externally 	5 to 10mm x 50cm	$1,630.00

Reinforced, Vascular Artificial

Arteries/Prostheses of PTFE, Sealed with

Gelatin

W L Gore & Associates

GT008	Gore-Tex Vascular Ring Graft	Ringed Grafts REMOVABLE THIN 	6-8mm Diameter x 80cm Length	$1,630.00	$1,800.00

WALL STRETCH (ePTFE)	 - Ringed Section 70cm Length

GT179	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall 	Diameter 5 - 6mm x 70cm 	$1,630.00

Length,  Ringed Section 60cm

Prostheses List by Category, Groups and Sponsor	Page 844 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

GT180	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall 	Diameter 5 - 6mm x 80cm 	$1,630.00	$1,800.00

Length, Ringed Section 60cm

GT182	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall 	Diameter 6mm, Lengths 80 - 90 	$1,630.00	$1,800.00

cm, Ringed Section 60cm Length

GT183	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall 	Diameter 8mm, Lengths 80 - 90 	$1,630.00	$1,800.00

cm, Ringed Section 70cm Length

GT186	Gore-tex Stretch Removable Ringed 	Stretch Thin Walled Removable Ringed 	Diameter 6mm x 70cm Length, 	$1,630.00

Vascular Graft	(ePTFE) Graft	Ringed Section 60cm

GT187	Gore-tex Stretch Removable Ringed 	Stretch Thin Walled Removable Ringed 	Diameter 6 - 8mm x 70cm 	$1,630.00

Vascular Graft	(ePTFE) Graft	Length, Ringed Section 60 -

GT212	Gore-Tex Stretch Intering Vascular 	Stretch Thin Walled ePTFE graft with 	Dia 6-8mm, 60cm radial 	$1,630.00

Integrated Rings	supported length x 60cm length

GT213	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a 	Dia 6-8mm, 80cm radial 	$1,630.00	$1,800.00

stretch thin walled graft	supported length x 80cm length

r

Atrium Australia - Pacific Rim Pty Limited

AC001	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE 	4mm x 10cm - 10mm x 100cm	$1,520.00

Standard Wall

AC012	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Thin 	4mm x 10cm - 10mm x 100cm	$1,520.00

B Braun Australia Pty Ltd

BB120	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 10 - 50cm	$850.00

BB132	Vascugraft	Thin Wall Centre Helix	Dia 6mm, length 45cm	$725.00

BB133	Vascugraft	Thin Wall Centre Helix	Dia 5 - 6mm, length 45 - 50cm	$935.00

BB146	Vascugraft	Easy Glide - Thin Wall Straight with Helix	Dia 6 - 8mm, length 40 - 80cm	$970.00

Support

Bard Australia Pty Ltd

BA019	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin 	4mm - 8mm diameter	$1,400.00

wall, 10 - 50cm long

BA022	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular 	4 - 19mm diameter	$1,400.00

wall, 10-50cm long

St. Jude Medical Australia Pty Ltd

SJ046	Intergard K	Knitted Radially Supported	6mm x 70cm - 8mm x 60cm	$970.00	$1,230.00

Prostheses List by Category, Groups and Sponsor	Page 845 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Terumo Corporation Australia

TU010	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally 	5 to10mm x 30 to 40cm	$1,520.00

Reinforced. Fluoropolymer/polyester,

TU011	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally 	5 to10mm x 50 to 70cm	$1,520.00

Reinforced. Fluoropolymer/polyester,

TU016	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 75m	$1,520.00

TU017	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 100cm	$1,520.00

TU019	Gelsoft Plus Graft	Femoro-femoral, Polyester, Knitted, 	6mmx30cm to  8mmx40cm	$1,520.00

Externally reinforced

TU029	SEALPTFE Graft	Standard Wall, Straight, Sealed, 	5 to 10mm x 10 to 40cm	$970.00

Externally Reinforcement, PTFE

TU030	SEALPTFE Graft	Standard Wall, Straight, Sealed, 	5 to 10mm x 50 to 80cm	$1,520.00

Externally Reinforcement, PTFE

W L Gore & Associates

GT185	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall 	Diameter 6mm x 80cm Length, 	$1,520.00	$1,800.00

Stretch (ePTFE)	Ringed Section 30cm Length

GT211	Gore-Tex Intering Stretch Thin Walled 	ePTFE integrated rings in the wall of a 	Diameter 6-8mm, 40cm radial 	$1,520.00

Vascular Graft	stretch thin walled graft	supported length x 40cm length

r, L

Terumo Corporation Australia

TU032	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally 	5 to 10mm x 60 to 80cm	$1,630.00	$1,709.00

Reinforced, PTFE

Group 3b: Bifuicated

Atrium Australia - Pacific Rim Pty Limited

AC016	Atrium Ultramax PET Grafts	Bifurcate Polyster Graft	12mm x 24mm - 6mm x 12mm 	$962.00

x 40cm

AC026	Advanta SST	Bifurcated PTFE Graft	12mm - 24mm X 6mm - 12mm 	$975.00	$3,384.00

Length 40cm

B Braun Australia Pty Ltd

BB027	Vascular Uni - Graft - Bifurcated	Vascular graft	12x7 to 12x12	$375.00

St. Jude Medical Australia Pty Ltd

SJ042	Intergard W	Woven Bifurcated	18mm x 9mm  -  24mm x 	$975.00	$1,020.00

Prostheses List by Category, Groups and Sponsor	Page 846 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

SJ045	Intergard K	Knitted Bifurcated	12mm x 6mm - 24mm x 12mm	$975.00	$1,020.00

Terumo Corporation Australia

TU007	Twillweave Graft	Bifurcate, Polyester, Woven, Unsealed	12mm x 6mm x 45cm to 24mm 	$962.00

x 12mm x 45cm

TU013	Gelweave Graft	Bifurcated, Polyester, Woven	12mmx 6mmx 45 cm to 	$975.00

24mmx12mm x 45cm

TU014	Gelsoft Plus Graft	Bifurcated, Polyester, Knitted	12mmx6mmx45cm to 	$975.00

24mmx12mmx45cm

L

W L Gore & Associates

GT006	Gore-Tex Stretch Bifurcated Graft	Stretch Bifurcated Graft with Thin Walled	12x6mm to 24x12mm 40-50cm 	$962.00

Limbs (ePTFE)	long

Group 3c: Branched or Fenestrated (2 or more)

L

Atrium Australia - Pacific Rim Pty Limited

AC017	Atrium Ultramax PET Grafts	Axillo-bifemoral Polyster Graft	8mm - 10mm  100 x 60cm	$1,950.00

St. Jude Medical Australia Pty Ltd

SJ043	Intergard W	Woven Aortic Arch	24mm x 10mm x 8mm x 8mm x	$1,950.00

50cm - 30mm x 10mm x 8mm

x 8mm

SJ047	Intergard K	Knitted Axillobifemoral	Diameter (mm) Length (cm) 8 x	$1,950.00

8 100/60; 10 x 10 100/60; 8 x 6

x 6 85/55; 8 x 8 85/55; 8 x 8

L, r

Terumo Corporation Australia

TU018	Gelsoft Plus Graft	Axillo-bifemoral, Polyester, Knitted, 	8x8mm/100x60cm; 	$1,950.00

Externally reinforced	8x7mm/90x40cm;

10x8mm/90x40cm

W L Gore & Associates

GT216	Gore-tex Axillobifemoral Vascular Graft	Stretch vascular graft with removable 	Diameter 8mm x 90cm 40cm	$1,950.00

rings (ePTFE)

Prostheses List by Category, Groups and Sponsor	Page 847 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 3d: Tapered or End-modified

Atrium Australia - Pacific Rim Pty Limited

AC003	Atrium PTFE  Vascular Graft	Tapered PTFE Standard Wall	4-6mm x 30cm - 6-8mm x 	$875.00

AC014	Atrium PTFE Vascular Graft	Tapered PTFE Thin Wall	4-6mm x 30cm - 6-8mm x 	$875.00

B Braun Australia Pty Ltd

BB026	Vascular Uni - Graft - Tapered	Vascular graft	12x6 to 24x12	$702.00

BB131	Vascugraft	Thin Wall Tapered	Dia 4 - 8mm, length 40 - 90cm	$875.00

BB138	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 30 - 70cm	$875.00

BB155	Vascugraft	Standard Tapered	Dia 4 - 7mm, length 30 - 70cm	$875.00

BB157	Vascugraft	Standard Wall Stepped Taper	Dia 4 - 8mm, length 40 - 45cm	$842.00

Bard Australia Pty Ltd

BA029	Impra PTFE Vascular Grafts	Venaflo ePTFE graft with preformed cuff	4mm - 8mm diameter, 10cm - 	$842.00

50cm length

L

B Braun Australia Pty Ltd

BB136	Vascugraft	Standard Tapered	Dia 4 - 8mm, length 70 - 90cm	$985.00

BB139	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 80cm	$985.00

Bard Australia Pty Ltd

BA171	Dynaflo AK Bypass Graft	PTFE Graft	7 & 8mm diameter. 50, 60, 70, 	$985.00

80cm lengths

Terumo Corporation Australia

TU033	SEALPTFE Graft	Standard Wall, Tapered, Sealed, PTFE	4 to 7mm Taper x 45 to 50cm	$860.00

W L Gore & Associates

GT171	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered 	Diameter 4-6mm & 4-7 mm, 	$842.00

Length 45 - 48cm

GT172	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered 	Diameter 4-7 mm, Length 70cm	$985.00

L, r

B Braun Australia Pty Ltd

BB145	Vascugraft	Thin Wall Centred Helix Tapered	Dia 4 - 7mm, length 70cm	$875.00

Prostheses List by Category, Groups and Sponsor	Page 848 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Bard Australia Pty Ltd

BA028	Impra PTFE Vascular Grafts	Distaflo ePTFE graft with preformed cuff	6-10mm diameter, 40 - 80cm 	$875.00

and flex support

r

B Braun Australia Pty Ltd

BB143	Vascugraft	Easy Glide - Standard Wall with Helix 	Dia 6 - 8mm, length 40 - 70cm	$875.00

Short Taper

BB156	Vascugraft	Standard Wall with Tapered Centre Helix	Dia 4 - 8mm, length 40 - 45cm	$842.00

W L Gore & Associates

GT175	Gore-tex Vascular Grafts	Ringed Grafts Removable Standard Wall 	4-7 mm x 70cm - Rings 30cm  	$875.00	$1,630.00

Tapered (ePTFE)	Length

Group 4: Vascular Patches

Group 4b: Synthetic

1

B Braun Australia Pty Ltd

BB017	Vascular Patch	Vascular patch	12x9 to 3x4	$205.00

Bard Australia Pty Ltd

BA039	Grafts Vascular	Polyester pledgets	Rectangle, Oval, Circle, Square 	$87.00

2.9mm-8mm x 6mm - 9.5mm

BA089	Impra PTFE Vascular Grafts	ePTFE Cardiovascular Patch 0.4mm Oval	20 x 90mm	$205.00

2

Bard Australia Pty Ltd

BA093	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	30 x 30mm, 10 x 90mm, 30 x 	$250.00

Rectangular, Patch 0.4 Oval, Rectangular	60mm

Group 5: Vessel Band

Group 5: Vessel band

AllVascular Pty Ltd

VA001	Venous Valve Ring	Dacron/silicone variable diameter ring	52mmx15mmx0.09 mm	$1,065.00

Prostheses List by Category, Groups and Sponsor	Page 849 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 6: Embolic Protection Devices

Group 6a: Venous

B Braun Australia Pty Ltd

BB106	Temporary Vena Cava System	Phynox/ combination of various metals 	One size, expands to Max length	$1,450.00

inc. Nickel,Copper, Molubden,Steel	 38mm/Max diameter 30mm

BB169	Vena Cava Filter System	PHYNOX Introducer system, 'J' 	Diameter 28 mm	$1,900.00

Guidewire, Seldinger needle, disposable

Bard Australia Pty Ltd

BA010	Recovery G2	Nitinol self expanding vena cava filter	28mm Filter, 7Fr delivery 	$2,348.00

Johnson & Johnson Medical Pty Ltd

JJ423	OPTEASE retrievable vena cava filter	OPTEASE is a laser cut nitinol vena cava 	Suitable for vessels up to 30mm	$2,348.00

filter, used to treat patients at high risk of

pulmonary embolisation

William A Cook Australia Pty Ltd

WC043	Inferior Vena Cava Filter	Birds Nest Vena Cava Filter	Filter Catheter French Size 11.0 	$2,003.00

Length 40, 75 cm Introducer

Sheath Assembly French Size

12.0 Femoral/Jugular Approach

WC096	Cook Vena Cava Filter	Universal Filter	Diameter up to 40mm, Length 	$2,348.00

up to 60mm

Group 6c: Arterial

Abbott Australasia Pty Ltd

AY018	Emboshield	Embolic Protection Device, including 	Large and small. Two wire 	$2,100.00	Temporary Approval pending

delivery system, device specific 	lengths: 190cm for Monorail 	review of product group

procedural wire, filter for capturing 	system and 315cm for Over the

embolic matter and retrieval system

AY030	Accunet	Embolic Protection Device, including 	4.5 - 7.5; 190cm, 300cm length 	$2,100.00

delivery system, device specific 	catheter

procedural wire, filter for capturing

embolic matter and retrieval system.

Prostheses List by Category, Groups and Sponsor	Page 850 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Boston Scientific Australia Pty Ltd

BS085	Filterwire EZ	Embolic Protection Device	3.5mm - 5.5mm on 190cm 	$2,100.00	Temporary Approval pending

delivery system. 3.5mm - 	review of product group

5.5mm on 300cm delivery

ev3 Australia Pty Ltd

EE022	Spider FX Embolic Protection Device	The Spider FX is a rapid exchange device	Filter:  3.0 - 7.0mm; Capture 	$2,100.00

percutaneously delivered distal embolic 	Wire:  190 and 320cm

protection device with components

designed to capture and remove debris

from vessels during interventional

procedures in the vasculature.

Johnson & Johnson Medical Pty Ltd

JJ445	ANGIOGUARD XP Emboli Capture 	Distal protection device and delivery system	Length: 300cm, diameter: 0.014,	$2,100.00	Temporary Approval, pending

Guidewire System	 Basket sizes 4mm, 5mm, 6mm,	review of product group

7mm, and 8mm

JJ480	Angioguard RX Emboli Capture 	Distal protection device and delivery system	Length 180cm, Diameter 0.014";	$2,100.00	Temporary Approval pending

Guidewire System	 basket sizes 4mm, 5mm, 6mm, 	review of product group

7mm and 8mm

Medtronic Australasia Pty Ltd

MC370	GuardWire Plus Temporary Occlusion 	GuardWire temporary occlusion balloon, 	Length 200 and 300cm; Balloon 	$2,100.00	Temporary Approval pending

and Aspiration System	MicroSeal adaptor, EZ Flator, Export 	Occlusion Diameter: 3.0-6.0mm;	review of product group

Aspiration Catheter and filter. Materials: 	 Distal Tip Length: 2.5cm;

nitinol hypotube, a soft elastic polymer, 	Guard Wire Shaft O.D: 3.5mm

polycarbonate, polyurethane, stainless

MC715	Interceptor Plus Filter System	Braided Nitol	Filter: 3.5 - 6.5mm; Length: 	$2,100.00

180cm; Profile: 0.032 - 0.036"

MC851	Defender Coronary and Carotid Filter 	Distal embolic protection device and 	Filter 2.5 - 6.5mm; Length 	$2,100.00

System	delivery system	180cm; Profile 0.014 -

0.070"(0.356 - 1.78mm)

St. Jude Medical Australia Pty Ltd

SJ080	Proxis Embolic Protection System	Proximal embolic protection device and 	7F and 8F	$2,100.00	Temporary listing pending review

delivery system	 of distal protection devices

Prostheses List by Category, Groups and Sponsor	Page 851 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 7: Arterial Closure Devices

Group 7: Arterial closure devices

Abbott Australasia Pty Ltd

AY017	Starclose	6 Fr Exchange Sheath, Dilator, 	6 Fr	$410.00

Guidewire, implantable nitinol clip pre-

mounted on a Clip Applier

AY033	Proglide	Stuture Mediated Closure Device	5 - 8 French	$410.00

AY034	Prostar	Stuture Mediated Closure Device - 	Up to 24 French	$750.00

Closure of Large holes

Medtel Australia Pty Ltd

ME107	Superstitch	Suture Mediated Closure Device	Sheath sizes: 6F and 8F	$410.00	Temporary Approval

Medtronic Australasia Pty Ltd

MC679	AngioLink Vascular Closure Device	Titanium staple	6F - 8F	$410.00

St. Jude Medical Australia Pty Ltd

SJ014	Angio-Seal Vascular Closure Device - 	Angio-Seal Haemostatic Puncture Closure	6F	$410.00	Temporary approval

STS Platform and STS Plus	 Device, Models 6F-STS Platform and 6F

STS Plus

SJ015	Angio-Seal Vascular Closure Device - 	Angio-Seal Haemostatic Puncture Closure	8F	$410.00	Temporary approval

STS Platform and STS Plus	 Device, Models 8F-STS Platform and 8F

STS Plus

SJ094	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure	6F	$410.00

Device Models 6F STS Platform, 6F

STS Plus and 7F VIP

SJ095	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure	8F	$410.00

Device Models 8F STS Platform, 8F

STS Plus and 8F VIP

SJ155	Angio-Seal Evolution	Haemostatic Puncture Closure Device 6F-	6F and 8F	$410.00

SJ218	FemoSeal Vascular Closure System	Haemostatic Puncture Closure Device	One Size	$410.00

Prostheses List by Category, Groups and Sponsor	Page 852 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 8: Occlusion Devices

Group 8a: Particle

Boston Scientific Australia Pty Ltd

BS034	PVA Particles (contour embolisation, 	Polyvinyl alcohol foam, Hydrophilic 	45-150 micron, 150-250 	$204.00

Contour SE	Spherical Shape	micron, 250-355 micron, 355-

500 micron, 500-710 micron,

710-1000 micron, 1000-1180

Device Technologies Australia Pty Ltd

DE294	Bead Block	Plyvinyl Alcohol hydrogel microspheres 	2ml- (100 - 300, 300 - 500, 500 	$204.00	$419.00

in pre-loaded syringe	- 700, 700 - 900, 900 - 1200

Endotherapeutics Pty Ltd

ET052	Hepasphere	Expanding microspheres designed for 	50 - 200 microns	$204.00	$1,650.00

chemic0-embolisation with

chemotherapeutic agents such as Ethiodil,

Cisplatin, Epirubicin, Mitomycin, etc.

William A Cook Australia Pty Ltd

WC044	PVA Embolisation particles	Embolization & Occlusion	Particle Size Ranges (microns) 	$204.00

50-100, 100-200, 200-300,300-

500, 500-700, 700-1000, 1000-

1500, 1500-2000, 2000-2800

ds

Boston Scientific Australia Pty Ltd

BS031	PVA/Contour SE for embolization and 	Polyvinyl alcohol foam and Microcatheter	45-150 micron, 150-250 	$204.00	$904.00

delivery system	 for delivery	micron, 250-355 micron, 355-

500 micron, 500-710 micron,

710-1000 micron, 1000-1180

micron, 150-175cm/3-25cm

Group 8b: Coil, Peripheral

Boston Scientific Australia Pty Ltd

BS026	Braided Occlusion Device (BOD) 	Fibered Platinum Coil, Pushable	Coils 2-30mm x3-60mm	$143.00

Fibered Platinum Coil

Prostheses List by Category, Groups and Sponsor	Page 853 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Johnson & Johnson Medical Pty Ltd

JJ224	TruFill Pushable coil	Platinum pushable  coil of 1. Straight, 2. 	Size .014" outer diameter.  Size 	$34.00

C, 3. Flat spiral and 4. Complex shapes.  	2 - 10mm and length 2 - 100mm

Embolic coil and delivery tube.

William A Cook Australia Pty Ltd

WC037	Coil - Embolisation MWCE	Standard Stainless Steel	Diameters: .025, .035, .038 and 	$143.00

.052, Extended Lengths: 1cm to

20cm, Coil Taper Diameters:

2mm to 10mm

WC038	Coil - Embolisation Coils MWCE-	Tornado Platinum	Diameters: .018, .035 and .038, 	$143.00	$218.00

TORNADO	Coil Taper Diameters: 2mm to

10mm

WC039	Cook Embolization Coil	Hilal Platinum	Diameters: .018, Extended 	$143.00	$208.00

Lengths: .5cm to 6cm, Coil

Diameters: Straight to 10mm

WC173	Cook Embolisation Coils	Nester Platinum	Diameters: .018 and .035, 	$143.00	$247.00

Extended Lengths: 14cm, Coil

Diameters: 3mm to 10mm

WC190	Detachable Mreye Embolization Coils	Standard Mreye	Diameters: .035 and .038, 	$66.00

Extended Lengths: 1cm to

20cm, Coil Diameters: 3mm to

Group 8d: Polymer

Endotherapeutics Pty Ltd

ET006	Embospheres	-	2ml per implant	$630.00

ET007	Embospheres	-	1ml per implant	$420.00

ET008	Embospheres	-	.5ml per implant	$320.00

ds

Boston Scientific Australia Pty Ltd

BS028	GDC and PVA Delivery Catheters	Microcatheter Delivery Systems	150-175cm/3-25cm	$700.00	Only to be funded when used

with a coil

Prostheses List by Category, Groups and Sponsor	Page 854 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Group 8e: Detachable Balloon or Sphere

Medtel Australia Pty Ltd

ME182	Amplatzer Vascular Plug	Self expandable nitinol wire mesh	Diameter 4mm - 16mm, Length 	$1,900.00

7 & 8mm

ds

Medtel Australia Pty Ltd

ME186	AMPLATZER Vascular Plug - II	The AMPLATZER Vascular Plug II is a 	9-AVP2-003, 3mm Diameter, 	$2,100.00

self-expandable, multi-lobed cylindraical 	6mm Plug Length.9-AVP2-

device made from a nitinol wire mesh. 	004, 4mm Diameter, 6mm Plug

The device is secured on both ends with 	Length.9-AVP2-006, 6mm

platinum marker bands, A stainless steel 	Diameter, 6mm Plug Length.

micro screw is welded to one of the 	9-AVP2-008, 8mm Diameter,

platinum marker bands, which allows 	7mm Plug Length.9-AVP2-

attachment to a delivery wire. The plug is	010, 10mm Diameter, 7mm Plug

preloaded into a loader attached to a 	 Length.9-AVP2-012, 12mm

nitinol pusher wire and is coiled in a hoop	Diameter, 9mm Plug Length.

dispenser	9-AVP2-014, 14mm Diameter,

10mm Plug Length.9-AVP2-

016, 16mm Diameter, 12mm

Plug Length.9-AVP2-018,

18mm Diameter, 14mm Plug

Length.9-AVP2-020, 20mm

Diameter, 16mm Plug Length.

9-AVP2-022, 22mm Diameter,

18mm Plug Length

Group 8f: Liquid

ds

ev3 Australia Pty Ltd

EE018	Onyx	DSMO/Liquid Embolic Material	18, 20, 34 (formulations)	$2,300.00

EE019	Onyx System	DSMO Liquid Embolic Material	500 Formulation	$4,950.00

Group 9: Long-term Vascular Access Devices

Group 9a: Percutaneous Catheters – single lumen

Boston Scientific Australia Pty Ltd

BS087	Vaxcel PASV PICC	Single lumen catheters	3, 4, 5 & 6 Fr	$175.00	Temporary approval pending

review of catheters

Prostheses List by Category, Groups and Sponsor	Page 855 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA008	Single Lumen Right Atrial Catheter	Central Venous Catheters constructed of 	84cm, 1.3mm OD, 94cm 	$54.00

radiopaque silicone rubber	2.2mm OD, 94cm 3.2mm OD

Medical Specialties  Australia Pty Ltd

MS010	Catheterisation kits(HDC corp)	Central Venous Catheter - right atrial 	2 - 12F	$405.00

catheter, silicone

Tekmed Pty Ltd

TK007	Pro-PICC CT power injection and PICC	Mecomp Pro-PICC CT power injection 	Single and double lumen, 4, 5, 	$165.00

therapy catheter sets	and PICC therapy catheter sets, incl. 	and 6 french, 65cm or 130cm

micro-puncture set, tearaway introducer 	nitinol guidewire

sheath, nitinol marked guidewire with

platinum tip, positive pressure valved

cap(s), syringe, statlock, mini scalpel,

William A Cook Australia Pty Ltd

WC111	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter	3 - 6 Fr, 40 - 80cm	$135.00

set, which may include catheter,

standard or micropuncture introducer set

WC113	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter	Fr 3, 4, 5 and Length 50 and 	$116.00

set, includes catheter, needle, J-wire,

MPIS wire and introducer

WC116	Cook Central Venous Long Term 	Cook TPN single lumen catheter	Fr 3, length 55, 65cm; Fr 4, 	$119.00

length 65cm, Fr 6.5, 9.5, length

WC117	Cook Central Venous Long Term 	Cook TPN single lumen catheter set	Fr 3, length 55; Fr 4, length 	$119.00

65cm, Fr 6.5 length 65, 90cm,

Fr 9.5, length 90cm

WC201	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central 	4Fr - 60cm and 5Fr - 60cm	$135.00

Venous Catheter Set, Single Lumen

Polyurethane with Micropuncture Peel-

Away Sheath Introducer and Wire Guide

WC202	Cook Central Venous Catheterisation 	Turbo-Flo Peripherally Inserted Central 	5Fr - 60cm	$124.00

Venous Catheter Set, Single Lumen

Polyurethane with Peel Away Sheath

Introducer and Wire Guide

WC204	Cook Central Venous Catheterisation 	Turbo-Flo Over-The-Wire Peripherally 	4Fr - 60cm and 5Fr -60cm	$135.00

Inserted Central Venous Catheter Set,

Single Lumen Polyurethane with

Micropuncture Peel-Away Sheath

Prostheses List by Category, Groups and Sponsor	Page 856 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

WC206	Cook Central Venous Catheterisation 	PICC Peripherally Inserted Central 	3Fr - 50cm and 4Fr and 5Fr - 	$244.00

Venous Catheter Set, Single Lumen

Silicone with Micropuncture Peel-Away

Sheath Introducer and Nitinol Wire Guide

WC207	Cook Central Venous Catheterisation 	PICC Peripherally Inserted Central 	3Fr - 50cm and 4Fr and 5Fr - 	$135.00

Venous Catheter Set, Catheter without

Clamp, Single Lumen Silicone with

Micropuncture Peel-Away Sheath

WC208	Cook Central Venous Catheterisation 	PICC Peripherally Inserted Central 	4Fr - 60cm and 5Fr - 60cm	$246.00

Venous Catheter Set, Catheter without

Clamp, Single Lumen Silicone with

Micropuncture Peel-Away Sheath

Introducer and Nitinol Wire Guide

cu

Bard Australia Pty Ltd

BA049	Broviac Catheters	Without VitaCuff, silicone	2.4 - 6.6 French Catheter	$180.00	$185.00

BA050	Hickman Catheters Single	Without VitaCuff, silicone  	7 - 14.4F French Catheter	$252.00	$260.00

BA125	Groshong Catheter	Single Lumen, Sizes 3fr-8fr Groshong 	Single Lumen, sizes 3fr-8fr	$323.00	$333.00

Valved-Closed ended catheter

BA129	Vascular Catheter	PICC - may include a Groshong Valved - 	Single Lumen 3Fr - 6Fr	$175.00	$180.00

Closed ended PICC, Single Lumen 3Fr-

i

Mayo group

CM016	ARROWg+ard Blue Single Lumen 	A polyurethane central venous catheter 	CS-24301 - 16g x 20cm, Single 	$80.00

Central Venous Catheters	with Blue FlexTip (of various lengths, 	Lumen, Adult

sizes and lumen configurations) with 	CS-24306E-16g x 16cm, Single

antimicrobial impregnation (chlorhexidine 	Lumen Adult

and silver sulphadiazine) on the external 	CS-24701 - 14g 20 cm, Single

surface of the polyurethane catheter 	Lumen Adult

CS-24706E -14g x 16cm, Single

Lumen, Adult

pi

Bard Australia Pty Ltd

BA184	PowerPICC	Single Lumen Power Injector Catheter	5F, 55cm length	$165.00

Prostheses List by Category, Groups and Sponsor	Page 857 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Mayo group

CM022	Arrow single lumen pressure injectable 	Single lumen pressure injectable 	4 Fr x 50cm, Single lumen	$165.00

peripherally inserted central catheter 	peripherally inserted central catheter

(PICC) set

Group 9b: Percutaneous Catheters – multiple lumen

Boston Scientific Australia Pty Ltd

BS065	Vaxcel Implantable Vascular Access 	Polyurethane Catheter Material with dual 	16 French catheter tapering to a 	$330.00

lumens and a staggered distal tip; 	14 French, lengths 19, 23, 28cm

polyester cuff which provides catheter

security and tissue growth; clear

extension tubes with clamps

BS088	Vaxcel PASV PICC	Dual lumen catheters	3, 4, 5 & 6Fr	$210.00	Temporary approval pending

review of catheters

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA007	Mahurkar Subclavian Catheter Kit	Chronic haemodialysis, long term 	36, 40cm	$184.00

vascular access for haemodialysis and

apheresis. Constructed of radiopaque

silicone rubber.  Kit contains: Catheter,

18ga Introducer Needle, J/Straight 0.038"

Guidewire, 10cc Syringe, Tunnelling

Stylet, Pull-Apart Sheath/Dilator, (4)

Gauze Sponges, (2) Wound Dressings,

KA009	RAAF Dual Lumen Catheter	Central Venous Catheter constructed of 	4.5mm (Catheter), 95cm 	$139.00

radiopaque silicone rubber	(Catheter Overall Length);

3.2mm (Catheter), 102cm

KA010	Triple Lumen Right Arterial Catheter	Central Venous Catheter constructed of 	3.9mm	$209.00

radiopaque silicone rubber

KA012	Mahurkar Subclavian Catheter Kit	Acute haemodialysus, short term vascular	11.5 Fr, 13.5cm Straight 	$130.00

access. Catheters constructed of 	Extension, 11.5 Fr, 16cm

radiopaque polyurethane. Tips are made 	Straight Extension, 11.5 Fr

of polyvinyl chloride and are more 	19.5cm Straight Extension, 10

radiopaque than the rest of the catheter. 	Fr 12cm Curved Extension, 10

Kit contains: 10 or 11.5 Fr Catheter, 18ga	Fr 15cm Curved Extension, 11.5

Introducer Needle, J/Straight Guidewire, 	 Fr 16cm Curved Extension,

10 Fr Dilator, 12 Fr Dilator, 2 x Adhesive	11.5 Fr 16cm Curved Extension,

Prostheses List by Category, Groups and Sponsor	Page 858 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

KA014	Mahurkar Maxid Catheters	Catheters constructed of radiopaque 	Size, 38, 43, 48, 53cm	$305.00

polyurethans, high kink resistant.  The

arterial lumen is shorter than the venous

lumen at the catheter's distal end in order

to reduce recirculation during

KA019	Mahurkar 12Fr Triple Lumen Catheter	Mahurkar 12Fr Triple Lumen Catheter 	12Fr - 13cm, 16cm, 19cm & 	$230.00	Temporary approval pending

Curved Extension Kit	24cm lengths available	review of catheters

KA020	Mahurkar 13.5Fr Q-Plus Dual Lumen 	Mahurkar 13.5Fr Q-Plus Curved 	13.5Fr - 13.5cm, 16cm, 19cm 	$127.00	Temporary approval pending

Catheter	Extension Double Lumen Catheter Kit	& 24cm lengths available	review of catheters

William A Cook Australia Pty Ltd

WC112	Cook Central Venous Catheterisation Kit	Double or triple lumen peripherally 	3 - 8 Fr 40 - 80cm	$204.00

inserted catheter set, which may include

catheter, standard or micropuncture

WC114	Cook Central Venous Catheterisation Kit	Double lumen peripherally inserted 	Fr 6, 7 and Length 58 and 60cm	$148.00

catheter set, includes catheter, needle, J-

wire, MPIS wire and introducer

WC118	Cook Central Venous Long Term 	Cook TPN double lumen catheter	Fr 5, length special; Fr 7, length 	$119.00	$183.00

65cm, Fr 9 length 80, 90cm, Fr

12, length special

WC119	Cook Central Venous Long Term 	Cook TPN double lumen catheter set	Fr 7, length 65cm, Fr 9 length 	$164.00	$228.00

Catheter Set	90cm, Fr 12, 90, special

WC203	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central 	5Fr - 60cm	$148.00

Venous Catheter Set, Dual Lumen

Polyurethane with Peel-Away Sheath

Introducer and Wire Guide

WC205	Cook Central Venous Catheterisation 	Turbo-Flo Over-The Wire Peripherally 	5Fr - 60cm	$159.00

Inserted Central Venous Catheter Set,

Dual Lumen Polyurethane with

Micropuncture Peel-Away Sheath

cu

Bard Australia Pty Ltd

BA040	VitaCuff, Hickman Catheter 	Dialysis/Apheresis catheter, dual lumen, 	36-45cm overall length	$349.00	$359.00

silicone

BA051	Hickman Catheters Dual	Without VitaCuff, silicone	7 -  9 French Catheter	$350.00	$361.00

BA052	Hickman Catheters Triple	Without VitaCuff, silicone	13.5 French Catheter	$415.00	$427.00

Prostheses List by Category, Groups and Sponsor	Page 859 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BA140	HemoGlide Long Term Haemodialysis 	Kit contents: 14.5fr catheter, 18g 	15, 19, 23 & 27cm straight kit; 	$357.00	$368.00

Catheter	guidewire introducer needle, 0.038" 70cm	19 & 23cm Pre-curved kit; 19,

J-wire guidewire, 15fr PTFE introducer 	24 & 28cm  and 31cm Pre-

sheath, 8" tunnelling device, 10-12fr 	curved jugular kit.

dualator vessel dilator, 2 adhesive

dressings, 2 injections caps, silicone

BA159	HemoSplit Long Term Haemodialysis 	HemoSplit is a carbothane long term dual 	Standard Kit (straight15cm 	$485.00	$500.00

catheter	lumen catheter used to provide vascular 	to42cm and pre-curved 19cm

access for haemodialysis. It comprises of	to31cm), Microintroducer Kits

a double D lumen configuration catheter 	(straight 19cm to 42cm & pre-

each lumen having an ID of 2.3mm) with	curved 19cm to 31cm)

a fixed split tip (to 7.5cmm) which

BA175	HemoGlide Long Term Haemodialysis 	14.5Fr Double D stepped tip cuffed 	31cm PC2 Jugular Kit	$327.00	$337.00

Catheter

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd

KA011	Permcath Dual Lumen Catheter	Chronic Haemodialysis, long term 	36cm, 40cm	$330.00

vascular access for haemodialysis and

aphaeresis.  Constructed of radiopaque

silicone rubber. Kit contains: Catheter,

18ga Introducer Needle, J/Straight 0.038"

Guidewire, 10cc Syringe, 10Fr. Dilator

(28cm only), 12Fr. Dilator (except

28cm), #11 Scalpel, Tunnelling Stylet,

Oval Pull-Apart Sheath/Dilator, (4) Gauze

Sponges, (2) Wound Dressing, (2)

Injection Sealing Caps.

KA013	Permcath Dual Lumen Catheter	Chronic haemodialysis, long term 	28, 36, 40cm	$290.00

vascular access for haemodialysis and

aphaeresis.  Constructed of radiopaque

KA018	Palindrome	Haemodialysis catheter	14.5Fr. 19, 23, 28, 33, 55cm 	$485.00	$600.00

Insertion Lengths, with 36, 40,

45, 50, 72cm Overall length,

with side slots, symmetric tip

Medical Specialties  Australia Pty Ltd

MS009	Catheterisation kits(Horizon Medical)	Central Venous Catheter - right atrial 	2.7 -14F	$417.00

catheter, silicone

Tekmed Pty Ltd

TK005	Medcomp Long Term Catheter sets for 	ASH, TESIO-BioFlex with cuff	10, 14 French   24,28,32 & 	$450.00

Haemodialysis	36cm lengths

Prostheses List by Category, Groups and Sponsor	Page 860 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

TK006	Medcomp Long Term Catheter sets for 	HemoFlow HFS-Carbothane with cuff	14.5 French   24,28,32 & 36cm 	$295.00

Haemodialysis	lengths

i

Mayo group

CM015	ARROWg+ard Blue Haemodialysis 	Haemodialysis Catheters (of various 	CS-22122 - 12Fr 16cm, Dual 	$195.00

Catheters	lengths, sizes and lumen confiurations) 	Lumen

with antimicrobial impregnation 	CS-22123 – 12Fr 16cm, Triple

(chlorhexidine and silver sulphadiazine) 	Lumen

on the external surface of the 	CS-25122 – 12Fr x 20cm, Dual

Lumen

CS-22142CF – 14Fr x 15cm,

Dual Lumen, Curved, Firm

CS-22142F – 14Fr x 15cm,

Dual Lumen Firm

CS-25122 – 12Fr x 20cm,

Double Lumen

CS-25123 – 12Fr x 20cm,

Triple Lumen

CS- 25142CF – 14Fr x 20cm,

Double Lumen, Curve, Firm

CS-25142F – 14Fr x 20cm,

Double Lumen, Firm

CS-26142F – 14Fr x 25cm,

Double Lumen, Firm

CU-22122 – 12Fr x 16cm,

Double Lumen, Curved

CU-23122 – 12Fr x 13cm,

Double Lumen, Curved

CU-25122 – 12Fr x 20cm,

Double Lumen, Curved

CM017	ARROWg+ard Four & Five Lumen 	A polyurethane central catheter with Blue 	CS-22854E - 8.5 Fr x 16cm, 	$170.00

Central Venous Catheters	FlexTip (of various lengths, sizes and 	Quad Lumen

lumen configurations) with antimicrobial 	CS-25854E - 8.5Fr x 20cm,

impregnation (chlorhexidine and silver 	Quad Lumen

sulphadiazine) on the external surface of 	CS-22855 - 8.5 x 16cm, Five

the polyurethane catheter material	Lumen

CS-25855 - 8.5Fr x 20cm, Five

Lumen

Prostheses List by Category, Groups and Sponsor	Page 861 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

CM018	ARROWg+ard Blue Double & Triple 	A polyurethane central venous catheter 	CS-24402 - 4Fr x13cm, Dual 	$110.00

Lumen Central Venous Catheters	with Blue FlexTip (of various lengths, 	Lumen

sizes and lumen configurations) with 	CS-22502 - 5FR x 5cm, Dual

antimicrobial impregnation (chlorhexidine 	Lumen

and silver sulphadiazine) on the external 	CS-25402 - 4Fr x 8cm, Dual

surface of the polyurethane catheter 	Lumen

CS-25502 - 5Fr x 12cm, Dual

Lumen

CS-22702E - 7Fr x 16cm,

Double Lumen

CS-26702 - 7Fr x 20cm, Double

Lumen

CS-27702E - 7Fr x 20cm,

Double Lumen

CS-25553 - 5.5Fr x 8cm, Triple

Lumen

CS-22703E - 7Fr x 16cm, Triple

Lumen CS-26553 -5.5Fr x

13cm, Triple Lumen

CS-24703E - 7Fr x 30cm, Triple

Lumen

CS-25703E - 7Fr x 20cm, Triple

Lumen

CM019	ARROWg+ard Blue Plus QUAD Lumen 	Central Venous Catheters (of Various 	CS-42854E - 8.5Fr x 16cm, 	$170.00

Central Venous Catheters	lengths, sizes and lumen configurations 	Quad Lumen

with antimicrobial impregnation on:	CS-45854E - 8.5Fr x 20cm,

1. The external indwelling surface of 	Quad Lumen

catheter material (chorhexidine and silver

sulphadiazine)

2. The entire internal fluid pathway

including catheter, extension-lines and

hubs (chlorhexidine acetate)

CM020	ARROWg+ard Blue Plus Double & 	Double & Triple  Lumen Central Venous 	CS-45802E - 8 Fr x 20cm, Dual	$120.00

Triple Lumen Central Venous Catheters	Catheters (of various lengths sizes and 	 Lumen

lumen configurations) with antimicrobial 	CS-46702E - 7Fr x 20cm, Dual

impregnation on:	Lumen

1. The external indwelling surface of 	CS-47702E - 7Fr x 20cm, Dual

catheter material (chlorhexidine and silver	Lumen

sulphadiazine)	CS-42703E - 7Fr x 16cm, Triple

2. The entire internal fluid pathway 	 Lumen

including catheter, extension-lines and 	CS-45703E - 7Fr x 20cm, Triple

hubs (chlorhexidine acetate)	 Lumen

Prostheses List by Category, Groups and Sponsor	Page 862 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

William A Cook Australia Pty Ltd

WC222	Cook Spectrum Silicone Long Term 	Dual lumen catheter CVC impregnated 	7Fr	$208.00	Temporary approval pending

Catheter Set	with antibiotic with or without clamp	review of catheters

WC223	Cook Spectrum Silicone Long Term 	Triple lumen catheter CVC impregnated 	8Fr	$253.00	Temporary approval pending

Catheter Set	with antibiotic with or without clamp	review of catheters

WC230	Cook Spectrum CVC Catheter 3 Lumen 	Triple lumen CVC line with antibiotic 	5Fr, 7Fr, 9Fr	$120.00

with antibiotic impregnation	impregnation

WC231	Cook Spectrum 5 Lumen CVC Catheter 	5 lumen CVC with antibiotic impregnation	10Fr	$180.00

with antibiotic impregnation

pi

Bard Australia Pty Ltd

BA182	PowerPICC	Triple Lumen Power Injector Catheter	6F, 55cm length	$230.00

BA183	PowerPICC	Dual Lumen Power Injector Catheters	5F, 6F, 55cm Length	$225.00

Mayo group

CM021	Arrow double lumen pressure injectable 	Arrow double lumen pressure injectable 	5Fr x 50cm, Double Lumen	$225.00

peripherally inserted central catheter 	PICC (peripherally inserted central

(PICC) set	catheter) set

Group 9c: Infuser Ports – single chamber

B Braun Australia Pty Ltd

BB170	Celsite Access Port for pain relief	Composition - polysulphone.  Kit includes	Diameter of septum:11.7mm.  	$495.00

tunnelling rod, filter, connectors, 	Height: 11.5mm.  Dimension:

needles, syringe, tuohy needle	25.8 x 37.8mm

Bard Australia Pty Ltd

BA056	Subcutaneous Ports	Hickman open-ended catheter, single 	8 - 9.6 French Catheter	$500.00

BA057	Groshong Subcutaneous Ports	Single or dual lumen catheter	8 - 9.6 French Catheter	$521.00

BA060	Hickman Subcutaneous Ports	Low-Profile	6 - 6.6 French Catheter	$534.00	$653.00

BA177	SlimPort Ultra Low Profile Implanted 	Ultra SlimPort Low Profile 	Port: 16.9 x 22.7mm (W) x 	$534.00	$541.00

Plastic/Titanium port with attachable 	9.2mm (H); 2.9g Wt 6 Fr

Chronoflex® single lumen catheter

Prostheses List by Category, Groups and Sponsor	Page 863 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

BMDi Tuta Healthcare Pty Ltd

TT001	Paragon Ambulatory Drug Infusion 	The top of the Paragon infuser is made of	Infuser - 100mL Administration 	$534.00

acetyl with stainless steel parts; the 	Sets - 0.50mL, 1mL, 2mL,

bottom is made of clear polycarbonate. 	4mL, 10mL, 50mL, 100mL, or

Diam: 10cm Height: 5.8cm.

Administration Sets - made from PVC

TT003	Sidekick Ambulatory Disposable 	Spring infusor made from high impact 	Infuser - 50mL or 100mL, 	$467.00

Delivery System	plastics.  Administration Sets - made 	Administration Sets - 50mL,

from PVC and acrylic components.	100mL or 200mL/hr

Denward Dell Pty Ltd TA Surimex

DW003	Jet Port Plus Set - Vascular Access Port	Implantable injection / infusion port 	Port:  Diameter: 28.0mm, 	$375.00

system:  port chamber with silicone 	Height: 12.3mm; Catheter:  6.6

membrane; connectable polyurethane 	French, Length: 750mm

catheter; and introducer kit.

DW004	Jet Port Plus Low Profile Peripheral Set 	Implantable injection / infusion port 	Port:  Length: 24.0mm, Width: 	$420.00

- Vascular Access Port	system:  low profile port chamber with 	20.5mm, Height: 10.3mm

silicone membrane; connectable 	Catheter: 6.6 French, Length:

polyurethane catheter; and introducer kit	750mm

Medical Specialties  Australia Pty Ltd

MS014	Injection/Infusion Ports Sterile	Plastic/titanium, single lumen	5-15F	$771.00

MS016	Injection/Infusion Ports Sterile	Plastic/titanium, paediatric	5, 6, 7,8, 9.6F	$771.00

William A Cook Australia Pty Ltd

WC093	Cook Implantable Injection/Infusion 	Petite or Standard, single or multiple 	3 - 12 Fr pre-attached or 	$500.00

chamber Polysulfone Port which may 	detached catheter or valve system

include micropuncture or standard

WC094	Cook Implantable Injection/Infusion 	Mini or Petite or Standard, single or 	3 - 12 Fr pre-attached or 	$534.00

multiple chamber titanium Port which 	detached catheter or valve system

may include micropuncture or standard

WC115	Cook Implantable Injection/Infusion 	Mini, single or multiple chamber titanium 	3 - 12 Fr pre-attached or 	$534.00	$652.00

Port which may include micropuncture 	detached  catheter or valve system

introducer set

pi

Bard Australia Pty Ltd

BA181	PowerPort	Sterile Titanium or MRI, subcutaneous 	One size, OF Catheter	$630.00

implanted port with attachable radiopaque

open ended ChronoFlex polyurethane

catheter, intermediate kit

Prostheses List by Category, Groups and Sponsor	Page 864 of 865

VASCULAR CAG

Minimum	Maximum

Billing Code	Product Name	Description	Size	 Benefit	 Benefit	Notations

Denward Dell Pty Ltd TA Surimex

DW006	T-Port Contrast set - Vascular access 	Injection infusion port system: titanium 	6163653077:  Port Base 27mm x	$630.00

port chamber with silicone membrane: 	 13mm, Catheter Diameter 1.3 x

connectable polyurethane catheter; 	 2.2mm, Catheter Length 75cm.

introducer kit.	6163652087: Port Base 27mm x

13mm, Catheter Diameter 1.6 x

2.6mm, Catheter Length 75cm.

6163663077: Port Base 23mm x

10mm, Catheter Diameter 1.3 x

2.2mm, Catheter Length

75cm.6163662087: Port Base

23mm x 10mm, Catheter

Diameter 1.6 x 2.6mm, Catheter

Length 75cm.

Group 9d: Infuser Ports – multiple chambers

Bard Australia Pty Ltd

BA059	Dual Lumen Subcutaneous Ports	Silicone, Polyurethane or ChronoFlex 	7 - 10 French Catheter	$805.00

Open-ended Catheter

Denward Dell Pty Ltd TA Surimex

DW005	Dual Port Set - Vascular Access Port	Implantable injection / infusion port 	Port:  Length: 53.0mm, Width:  	$580.00

system:  dual port chamber with silicone 	20.0mm, Height:  13.5mm

membranes; connectable double lumen 	(chamber 1), 15.5mm (chamber

polyurethane catheter; and introducer kit.	 2); Catheter:  Length:  500mm,

internal diameter double D,

external diameter 3mm

Medical Specialties  Australia Pty Ltd

MS015	Injection/Infusion Ports Sterile	Plastic/titanium, dual lumen	10, 10.5, 12F	$786.00

William A Cook Australia Pty Ltd

WC164	Cook Implantable Injection/Infusion 	Dual or Multiple Chamber Titanium Port 	3 - 12 Fr pre-attached or 	$762.00

which may include micropuncture or 	detached catheter or valve system

standard introducer set

Grand Total:	9379 Records

Prostheses List by Category, Groups and Sponsor	Page 865 of 865