New Products for Prostheses List	February 2010

Billing 	Product 	Further Description	Size

Abbott Australasia Pty Ltd

Vascular

AY035	Absolute Pro (Long Length)	Laser cut nitinol self expanding stent <150mm	Diameter 5mm to 10mm; length 120mm

AY036	Absolute Pro (Long Length)	Laser cut nitinol self expanding stent <150	Diameter 5mm to 10mm; length 150mm, 170mm, 200mm

Advanced Surgical Design & Manufacture Ltd

Specialist Orthopaedic

AE126	Carpal Fusion Compression Plate	316L Stainless Steel Compression Plate, 2 hole and 3 hole	2 Hole; and 3 Hole Plates

Alliance Surgical

General Miscellaneous

AA008	Bioring Gastric Band Replacement Port	Bioring gastric band access port with catheter and connector	Diameter 34mm; height 10.4mm

AA009	Bioring Gastric Band	Adjustable gastric banding kit	Small and large

Allied Medical Limited

General Miscellaneous

AH004	AMBIT Infusion Pump	The AMBIT PCA is an external programmable electronic ambulatory	55mm x 36mm x 175mm

infusion pump used for the delivery of fluid and medications via

intravenous, epidural, subcutaneous or regional routes.  It can be

programmed with different delivery profiles which include basal rate

only, basal rate with PCA (Patient Controlled Analgesia) or PCA

Bolus Only.  It is operated in conjunction with a AMBIT disposable

administration cassette

AH005	AMBIT Infusion Pump Cassette	Single use sterile disposable administration set for use with the 	20mm x 10mm x 15mm

AMBIT Infusion Pump.  The cassette contains a rotary mechanism

that pumps the infusion solution at an accurate and controlled rate.

The cassette includes an administration line with a solution bag spike

and an inline air filter

AH006	Dosifuser	Non electronic, elastomeric balloon driven, ambulatory infusion 	65ml - 140mm x 45mm x 40mm; 100ml - 140mm x 52mm x 50mm;

pump, which can be supplied in a variety of volumes and flow rates 	150 - 140mm x 55mm x 55mm; 250ml - 140mm x 60mm x 60mm

to meet different clinical applications.  Its primary purpose is for

continuous delivery of fluids/medications.

Urogenital

AH003	GMD Universal Incontinence Sling Kit	A sterile single use device for treatment of female stress urinary 	Mesh = 500mm x 15mm and Trocars = 250 mm x 15mm approx

incontinence. An implantable device for use in women as a

suburethral sling for treatment of SUI resulting from urethral

hypermobility and/or intrinsic sphincter deficiency.

New Products for Prostheses List Report	Page 1 of 46

Billing 	Product 	Further Description	Size

American Medical Systems

Urogenital

AM050	Urinary Control System Pump	Pump with InhiboZone Antibiotic Surface Treatment	One size only.

AM051	AMS 800 Urinary Control System with InhibiZone - cuff	Occlusive Cuff with InhibiZone Antibiotic Surface Treatment	3.5 cm - 11.0 cm (increase in 0.5cm size)

AM052	Elevate Anterior & Apical Prolapse Repair System	IntePro Lite Mesh and single use instuments for mesh placement.	One size only.

AM053	Elevate Apical & Posterior Prolapse Repair System	IntePro Lite mesh and single use instruments for mesh placement	one size only

Arthrocare Australasia Pty Ltd

Specialist Orthopaedic

AF032	Bilok Screw (Parallel, Tapered, ST)(Fixation device)	Bilok (TCP/PLLA) - Tricalcium phosphate and poly-L-lactide	Bilok Screw Tapered: Length 20-35mm, Diameter 7-12mm Bilok

Screw parallel: Length 25-35mm, Diameter 7-9mm Bilok Screw ST:

Length 30-35mm, Diameter 7-9mm

AF033	Doubleplay Suture Implant	Doubleplay Implant (TCP/PLLA) - Tricalcium phosphate and poly-	5.0mm and 6.5mm

L-lactide

Atrium Australia - Pacific Rim Pty Limited

General Miscellaneous

AC031	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	0 - 100 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC032	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	101 - 200 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC033	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	201 - 300 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC034	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	301 - 400 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC035	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	401 - 500 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC036	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	501 - 600 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC037	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	601 - 1000 sq cm

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC038	C-QUR Mesh	Sterile, knitted polypropylene monofilament mesh material for tissue	1000 sq cm +

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

AC039	C-QUR Mesh Plug	Sterile, knitted polypropylene monofilament mesh material for tissue	small, medium

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

New Products for Prostheses List Report	Page 2 of 46

Billing 	Product 	Further Description	Size

AC040	C-QUR Mesh Plug	Sterile, knitted polypropylene monofilament mesh material for tissue	large and extra large

reinforcement with a coating derived from a biological oil composed

of fatty acids, lipids and glycerides (BAO - Bioabsorbable Oil

Vascular

AC041	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch	6 sq cm

AC042	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch	19 – 76 sq cm

AC043	Advantra PTFE Vascular Graft	Trilaminate PTFE Graft with Graft Deployment System	4mm - 8mm diameter, 10cm - 45cm length

AC044	Advantra PTFE Vascular Graft	Trilaminate PTFE Aortic Graft with hydrostatic membrane	12mm - 24mm diameter 30cm length

AC045	Advantra PTFE Vascular Graft	Trilaminate PTFE Graft with Graft Deployment System	4 - 8mm diameter 50cm - 100cm lengths

AC046	Advantra PTFE Vascular Graft	Tapered Trilaminate PTFE Graft with Graft Deployment System	4mm - 8mm diameter 50cm - 80cm lengths

AC047	Advantra PTFE Vascular Graft	Tapered Trilaminate PTFE Graft with Graft Deployment System	4mm - 8mm diameter, 10 - 40cm lengths

AC048	Advantra PTFE Vascular Graft with Graft Deployment System	Trilaminate PTFE. Vascular Access PTFE	4mm - 8mm diameter. 10cm - 40cm length

AC049	Advantra PTFE Vascular Graft with Graft Deployment System	Trilaminate PTFE. Vascular Access Graft	4mm - 8mm diameter. 50 - 80cm length

Austofix

Orthopaedic

AX063	Austofix Ceramic System	Captiv ceramic liner - Biolox	48-69mm

AX064	Austofix Ceramic System	Biolox ceramic femoral head	36mm

AX065	Austofix Ceramic System	Biolox Ceramic Femoral Head	28 and 32 mm

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

General Miscellaneous

AS177	Duet TRS Reload with Tissue Reinforcement	Single use loading units with tissue reinforcement material for use 	45mm and 60mm staple line length; 3.5mm and 4.8mm staple leg-

with Endo GIA Universal stapling devices

B Braun Australia Pty Ltd

General Miscellaneous

BB321	Pneumatic Challenger Multifire Clips	Challenger TI-P SM-Ligat. Clips 12 Cartridge (PL574T)  Challenger 	small-medium, medium-large

TI-P ML-Ligat. Clips 12 Cartridge (PL579T)

Bausch & Lomb (Australia) Pty Ltd

Ophthalmic

BL028	Akreos Toric Astigmatism- Correcting Lens	Single piece, foldable, acrylic intraocular lens with a toric optic on the	The overall diameter is 11 millimetres for the entire lens power range

posterior surface and axis marks on the posterior optic's flat 	(spherical equivalent powers from +10.0 to +30.0 diopters in 0.5

diopter steps and cylinder powers of +1.25, +2.00 & +2.75 diopters).

New Products for Prostheses List Report	Page 3 of 46

Billing 	Product 	Further Description	Size

Baxter Healthcare Pty Ltd

General Miscellaneous

BX279	Coseal Duplospray Applicator 30cm	COSEAL, which is listed on the Prostheses List, is a hydrogel that 	30cm

acts as a sealant by adhering to itself and the tissues it contacts.

COSEAL is designed to completely seal suture lines along vascular

reconstructions to prevent fluids from leaking. This applicator is 30

cm long, disposable, dual lumen device for precise delivery of

COSEAL (Surgical Sealant). It attaches to the COSEAL syringe (sold

separately) and is connected to a regulator (sold separately). It

allows for delivery of the sealant in the form of a spray in

laparoscopic or minimally invasive procedures.

BX280	Coseal Duplospray Applicator 20cm	COSEAL, which is listed on the Protheses List, is a hydrogel that 	20 cm

acts as a sealant by adhering to itself and the tissues it contacts.

COSEAL is designed to completely seal suture lines along vascular

reconstructions to prevent fluids from leaking. This applicator is a 20

cm long, disposable, dual lumen device delivery of COSEAL

(Surgical Sealant). It attaches to the COSEAL syringe (sold

seperately) and is connected to a regular (sold separately). It allows

for delivery of the sealant in the form of a spray in laparoscopic or

minimally invasive procedures.

Bio Nova International Pty Ltd

Vascular

BN012	Omniflow II Vascular Prostheses - Straight	Vascular Prostheses - Straight	9-10mm x 60-65cm

BN013	Omniflow II Vascular Prostheses - Straight	Vascular Prostheses - Straight	5-8mm x 60-65cm

BN016	Omniflow II Vascular Prostheses - Straight	Vascular Prostheses - Straight	9-10mm x 45-55cm

BN017	Omniflow II Vascular Prostheses - Straight	Vascular Prostheses - Straight	5-8mm x 45-55cm

BN018	Omniflow II Vascular Prosthesis - Straight	Vascular Prostheses- Straight	9 - 10mm  x 20-40cm

BN019	Omniflow II Vascular Prosthesis - Straight	Vascular Prostheses- Straight	5-8mm  x 20-40cm

BN020	Omniflow II Vascular Prostheses - Straight	Vascular Patch	1.5cm x 5cm (less than 8 sq. Cm)

BN021	Omniflow II Vascular Prostheses - Straight	Vascular Patch	2.5cm x 10cm (more than 8 sq. cm

Vascular CAG

BN022	Omniflow II Vascular Prosthesis - Curved	AV Access	9-10mm x 30-35cm

BN023	Omniflow II Vascular Prosthesis - Curved	AV Access	5-8mm x 30-35c

BN024	Omniflow II Vascular Prosthesis - Curved	AV Access	9-10mm x >45cm

BN025	Omniflow II Vascular Prosthesis - Curved	AV Access	5-8mm x >45cm

Biomet 3i Australia Pty Ltd

Plastic and Reconstructive

NW004	Endobon Xenograft Granules	Hydroxyapatite granules	0.5-1mm diameter; 0.5ml, 1.0ml, 2.0ml

NW005	OsseoGuard Resorbable Collagen Membrane	Dental Resorbable Collagen Membrane	15mm x 20mm, 20mm x 30mm, 30mm x 40mm

New Products for Prostheses List Report	Page 4 of 46

Billing 	Product 	Further Description	Size

Biomet Australia Pty Ltd

Orthopaedic

BH032	ARCOS Revision Hip System - Broached proximal body	Broached proximal body porous plasma spray	Standard or High Offset A B C D E and F

BH033	ARCOS Revision Hip System Cone Proximal Body	Cone proximal body porous plasma spray coated	59 to 80mm bodies, std or High Offsets Size A B C D E F D

BH034	ARCOS Calcar Proximal Body	Calcar Proximal Body porous plasma spray	Calcar body 50mm Std +10 +20 bodies, Std or high offset Body A

BH035	ARCOS Modular Revision Hip Sydtem Short Distal Stems	Distal stems bullet tip or slotted porous plasma spray	12-26mm dia x 115mm to 200mm length

BH036	Biolox Delta Option Ceramic Femoral Heads	ceramic modular head, biolox delta	36mm to 60mm

BH037	Biolox Delta Option Taper	Taper Sleeve, Titanium	-6mm, -3mm, Std, +3mm and +6mm

BH038	Bi Metric Hip	Femoral Stem, HA coated, porous plasma spray, titanium	(7 to 21) mm diameter, Standard or lateralised

BH039	Avantage Reload Dual Mobility Cementless Acetabular Cup	Revision Acetabular Cup polished inner surface, with flanges, Porous	44mm - 64mm

HA Coating, Stainless Steel

BH040	Avantage Dual Mobility Cemented Acetabular Cup	Acetabular shell, polished inner surface, Stainless Steel	44mm - 50mm

BH041	Avantage Dual Mobility Acetabular Cup Inlay	UHMWPE Dual Mobility Liner	44-66mm diameter shells

BH043	Exception Femoral Stem	Standard or Varised, Left or Right Titanium Alloy, HA coated	Sizes 1-9

Plastic and Reconstructive

BH042	Metamorfix	Plate, Y, T, straight, hook left, straight or right.	long, standard hook

Specialist Orthopaedic

BH044	Biomet Phoenix Nail Arthrodesis Nailing System - Nail	Ankle Arthrodesis Locking Nail, Titanium Alloy	9 - 12mm diameter x 150 - 420mm length

BH045	Biomet Phoenix Arthrodesis Nailing System - End Cap	Offset end cap, Titanium	0mm - 20mm

BH046	Biomet Phoenix Ankle Nailing System - 5mm Double-lead thread screw	Double lead screw - Ti-6Al-4V Standard or osseotite finish	5mm Dia x (20 to 110)mm length

BH047	Comprehensive Shoulder System	Humeral Stems, standard, mini, micro and revision, porous coated, Ti	4mm to 20mm Diameter

BH048	Comprehensive Shoulder - Versa-Dial Head	Versadial humeral head and adaptor	(38 to 58)mm x(19 to 37)mm x(39 to 61)mm

BH049	Comprehensive shoulder - glenoid	Modular hybrid glenoid base UHMWPE; Titanium	small, medium, large

BH050	Comprehensive Shoulder - Glenoid Stem	Glenoid Post, Ti Regenerex or Polyethylene	1 size

BH051	Comprehensive Shoulder - Reverse Glenosphere	Reverse glenosphere	(31mm to 41)mm x (standard, +3, +6)

BH052	Comprehensive Shoulder - Reverse Glenoid Baseplate	Reverse glenoid baseplate, Ti, Porous coating	one size

BH053	Comprehensive Shoulder - Screws	Screw, Titanium	(4.75 or 6.5)mm diam x 15-50mm length

BH054	Comprehensive Shoulder - reverse humeral tray	Reverse Humeral tray, Ti	Std, +5, +10

BH055	Comprehensive shoulder - reverse humeral cup	Reverse shoulder humeral bearing, highly cross linked UHMWPE	(Standard or Retentive) x (std, +3) x (31 to 41)mm

BH056	Lactosorb Suture Anchor	Threaded with 1 suture, PGA/PLA, polyethylene	(3.5, 5.5, 6.8)mm dia anchor

BH057	Lactosorb Suture Anchor	Threaded with 2 suture, PGA/PLA, polyethylene	(3.5, 5.5, 6.8)mm dia anchor

BH058	Explor Radial Head	Head	(10-20)mm x (20-24)mm

BH059	Explor Radial Head	Stem	(5-10)mm x (22-32)mm

BH060	Discovery Elbow System	Humeral Component, Hydroxy Apatite + porous coated or cemented	(3-5)mm dia x (75-150)mm length

New Products for Prostheses List Report	Page 5 of 46

Billing 	Product 	Further Description	Size

BH061	Discovery Elbow System	Ulnar Component, Hydroxy Apatite + porous coated or cemented	(3-5)mm dia  x (75-115)mm length

BH062	Discovery Elbow System	Condyle Kit, UHMWPE, Ti	One size

Biotronik Australia Pty Ltd

Cardio-thoracic

BT108	Entovis SR-T	Fully automatic, extended longevity, single chamber pacemaker with 	53 x 39 x 6.5 W x H x D [mm], Size 11 [cm3], 24 mass[g]

Closed Loop Stimulation & BIOTRONIK Home Monitoring

BT109	Entovis SR	Fully automatic, extended longevity, single cFully automatic, 	53 x 39 x 6.5W x H x D [mm], Size 1 [cm3],  25 Mass[g]

extended longevity, single chamber pacemaker with Closed Loop

BT110	Evia SR-T	Fully automatic, extended longevity, single chamber pacemaker with 	53 x 39 x 6.5 W x H x D [mm], Size 11 [cm3], 24 Mass [g]

Closed Loop Stimulation & BIOTRONIK Home Monitoring

BT111	Entovis DR	Fully automatic, extended longevity, Dual Chamber Pacemaker with 	53 x 43 x 6.5W x H x D [mm], Size 11 [cm3], 26 Mass [g]

Closed Loop stimulation & Vp Suppression

BT112	Evia DR	Fully automatic, extended longevity, Dual Chamber Pacemaker with 	53 x 43 x 6.5 W x H x D [mm], Size 11 [cm3], 26 Mass [g]

Closed Loop stimulation & Vp Suppression.

BT113	Evia SR	Fully automatic, extended longevity, single chamber pacemaker with 	53 x 39 x 6.5 W x H x D [mm], Size 10[cm3], 25 Mass [g]

Closed Loop Stimulation.

BT114	Evia DR-T	Fully automatic, extended longevity, Dual Chamber Pacemaker with 	53 x 44.5 x 6.5 W x H x D [mm], Size 12 [cm3], 25 Mass [g]

Closed Loop stimulation, Vp Suppression and BIOTRONIK Home

Monitoring

BT115	Entovis DR-T	Fully automatic, extended longevity, Dual Chamber Pacemaker with 	53 x 44.5 x 6.5 W x H x D [mm], Size 12 [cm3], 25 Mass [g]

Closed Loop stimulation, Vp Suppression and BIOTRONIK Home

Monitoring

Boston Scientific Australia Pty Ltd

Cardio-thoracic

BS153	Myopore	Bipolar sutureless myocardial pacing lead	25-54cm

Ear, Nose & Throat

BS159	Harmony ™ HiResolution® Bionic Ear System - HiRes 90K Implant 	The HiRes 90K with HiFocus 1j Electrode is the implanted 	Straight array (1j).  56.0mm (L) x 28.0mm (W) x 3.0mm (D)

Cochlear Stimulator with HiFocus 1j Electrode	component of the HiResolution Bionic Ear System. It receives

information through an RF transmission coil, processes the

information and then sends the resulting signal to an electrode array

implanted in the cochlea. It consists of receiving/transmitting coil,

Stimulator electrodes and HiFocus 1j Electrode array.

BS160	Harmony ™ HiResolution® Bionic Ear - HiRes 90K Implant 	The HiRes 90K with HiFocus Helix Electrode is the implanted 	Helix (coiled) electrode array - 56.0mm (L) x 28.0mm (W) x 3.0mm

Cochlear Stimulator with HiFocus Helix Electrode	component of the HiResoulution Bionic Ear System. It receives

information through an RF tranmission coil, precesses the

information and then sends the resulting signal to an electrode array

implanted in the cochlea. It consists of receiving/transmitting coil,

Stimulator electronics and HiFocus Helix Electrode array

New Products for Prostheses List Report	Page 6 of 46

Billing 	Product 	Further Description	Size

BS161	Harmony™ HiResolution® Bionic Ear System - Behind The Ear 	The Auria Harmony Processor is an external component of the HiRes	Sound Processor Size 54 mm (H) x 13mm (TH) x 21 mm (w).

Sound Processor - Auria Harmony Sound Processor (INITIAL Order)	 Bionic Ear System. This processor is intended to deliver 	Headpiece Diameter: 28.1 mm

HiResolution sound to a cochlear implant by converting sound waves

(received via a microphone) into an electrical signal which is then

transmitted to the implant via a headpiece. This listing includes

sound processor, headpiece, earhooks, powercels, rechargers, cables

and essential accessories.

BS162	Harmony™ HiResolution® Bionic Ear System -Behind The Ear 	The Auria Harmony Processor is an external component of the HiRes	Sound Processor - one size 54 mm (H) x 13mm (TH) x 21 mm (W)

Sound Processor - Auria Harmony Sound Processor 	 Bionic Ear System. This processor is intended to deliver

HiResolution sound to a cochlear inplant by converting sound waves

(received via a microphone) into an electrical signal which is then

transmitted to the implant via a headpiece. This listing Processor

BS163	Harmony ™ HiResolution® Bionic Ear System - Behind the Ear 	1x HPwcable; 1x direct connect	various

Sound Processor Auria Harmony Essential Accessory Kit	earhook; 1x standard earhook;

1x audio cable; 1x monitor

earphone.

BS164	Harmony™ HiResolution® Bionic Ear System -Body worn sound 	The Platinum Sound Processor is a body worn component of the 	PSP only one size; 2.69' x 2.19" x 0.81"                        Headpiece

processor - Platinum Series Processor (PSP) INITIAL Order	HiRes Bionic Ear System. This processor is intended to deliver 	cable : options 18, 24, 32, 42 and 48 inches

HiResolution sount to a cochlear implant by converting soundwaves

(received via a microphone in the Platinum Headpiece) into an

electrical signal that is then transmitted to the implant via the

headpiece. This listing consists of the sound processor, headpiece,

connecting cables, and essential accessory kit.

BS165	Harmony™ HiResolution® Bionic Ear System - Body worn Platinum	The Platinum Sound Processor is a body worn component of the 	PSP: one size; 2.69' x 2.19" x 0.81"

Sound Processor (PSP) REPLACEMENT Order	HiRes Bionic Ear System. This processor is intended to deliver

HiResolution sount to a cochlear implant by converting soundwaves

(received via a microphone in the Platinum Headpiece) into an

electrical signal that is then transmitted to the implant via the

headpiece. This listing comes with the processor only.

BS166	Harmony ™ HiResolution® Bionic Ear System - Body worn Sound 	1x HP cable; 1x Auxiliary	various

Processor - Platinum Series Processor (PSP) Essential Accessory Kit	microphone; 1x telephone

adaptor; 1x monitor earphone

Neurosurgical

BS158	Precision Connector M1	Lead extension for Precision SCS System	35. 55. 70 cm length

Urogenital

BS154	Solyx SIS System	Polypropylene mesh sling	One size only

BS155	Uphold Vaginal Support System	Synthetic polypropylene mesh assembly and fixation device	One configuration

BS156	Pinnacle PFR Kit Posterior	Synthetic polypropylene mesh assembly and fixation device	One configuration

BS157	Pinnacle Duet PFR Kit	Synthetic polypropylene mesh assemblies and fixation device	Two configurations

Vascular

BS167	Wallstent RP; Placehit Stent	Tracheobronchial, Iliac, Biomedical Superalloy Wire, Braided Mesh, 	6-20mm; length 18-90mm

Stainless Steel Stent with Unistep Delivery System

BS168	Wallstent RP	Tracheobronchial, Iliac, Biomedical Superalloy Wire, Braided Mesh, 	20-24mm; length 18-90mm

Stainless Steel Stent with Unistep Delivery System

New Products for Prostheses List Report	Page 7 of 46

Billing 	Product 	Further Description	Size

Carl Zeiss Pty Ltd

Ophthalmic

CZ020	Zeiss- Acri.Comfort 646TLC	Zeiss- Acri.Comfort 646TLC (MICS Bitoric Aspheric Foldable IOL)	Overall length 11.00mm Optic size 6.00mm +6.0D +32.0D inclusive

in 0.5D increments Cylinder +1.0 to 6.0D inclusive in 0.5D

CZ021	Zeiss- Acri.Comfort 646TLC	Zeiss - Acri.Comfort 646TLC (MICS Biotoric Aspheric Foldable 	Overall length 11.00mm     Optic size 6.0mm             -10.00 to

+5.50D inclusive in 0.5D increments        Cylinder +1.0D to 12.0D

inclusive in 0.5D increments     +6.0D to +32.0D inclusive in 0.5D

increments      Cylinder +6.5D to 12.0D inclusive in 0.5D increments

CMS Alphatech Pty Ltd

General Miscellaneous

CL002	Advantage I-125 Seed	Advantage I-125 per patient up to 120 seeds	3mm x 0.5mm silver rod within 4.5 x 0.8mm sealed titanium capsule

CL003	Advantage I-125 Seed	Advantage I-125 per seed	3mm x 0.5mm silver rod within 4.5 x 0.8mm sealed titanium capsulre

Cochlear Limited

Ear, Nose & Throat

CO046	Cochlear™ Nucleus® CI512 Cochlear Implants with Contour 	Model CI512, 5th generation cochlear implant with perimodiloar 	One Size

Advance Electrode	electrode array. Titanium casing, removable magnet, 22 half-banded

platinum electrodes, moulded in a durable silicone seal.

CO047	Cochlear™ Baha® BP100 sound processor	Fully programmable head worn sound processor for the Baha 	One size - 30 x 21 x 12mm

implantable bone conduction hearing system

CO048	Cochlear™ Nucleus® CP810 Sound Processor - INITIAL	The ear level sound processor of the Nucleus 5 cochlear implant 	One size

system with multiple wearing options and a remote control.

CO049	Cochlear™ Nucleus® CP810 Sound Processor - REPLACEMENT	The ear level sound processor of the Nucleus 5 cochlear implant 	One size

system with multiple wearing options and a remote control.

ConMed Linvatec Australia Pty Ltd

Specialist Orthopaedic

LV112	CrossFT Suture Anchor	PEEK Optima Suture Anchor with multiple sutures	4.5mm, 5.5mm & 6.5mm diameters

LV113	PopLok Suture Anchor	PEEK Optima Suture Anchor with or without sutures	3.5mm & 4.5mm diameters

LV114	Super Revo-FT Suture Anchor	Fully Threaded Suture Anchor pre-threaded with two sutures	5mm diameter

Corin Australia Pty Ltd

Orthopaedic

CR163	Trinity polyethylene liner	Highly cross linked Polyethylene liner in neutral +4mm offset +4mm 	28mm, 32mm, 36mm, 40mm

oblique and 4mm elevated wall variants for use with the Trinity

acetabular multi-bearing shell

CR164	Trinity Metal Liner	Metal liner for use with the Trinity acetabular shell	28mm, 32mm, 36mm, 40mm

CR165	Trinity Acetabular Cup	Tri-liner hemispherical shell. Titanium (Ti6A14V) material with 	44 - 68 mm in 2mm increments

Titanium and HA coated plasma spray

New Products for Prostheses List Report	Page 8 of 46

Billing 	Product 	Further Description	Size

Darco Australia

Specialist Orthopaedic

DC032	Charlotte Claw Locking Screws	2.7mm stainless steel locking screws for use with Claw Plate	2.7mm, 12-30mm

DC033	Charlotte Claw Locking Plate	2 hole and 4 hole compression plates, stainless steel, 2.7mm or 	2.7mm 2 holes - 15, 20 and 25mm; 3.5mm 2 holes and 4 holes - 20,

3.5mm screw fixation	25 and 30mm

DC034	Charlotte Claw Locking Screws	3.5mm stainless steel locking screws for use with Claw Plate	3.5mm: 14-40mm

DC035	Darco Headed Compression Screw System 2.7	Cannulated titanium compression screws	2.7mm x 8-34mm

DC036	Darco Headed Compression Screw System 3.5, 4.0	Cannulated titanium compression screws	3.5mm x 8-60mm; 4.0mm x 8-60mm

DC037	Darco Headed Compression Screw System 4.5, 6.5, 7.5	Cannulated titanium compression screws	4.5mm x 8-60mm; 6.5mm x 35-120mm; 7.5mm x 35-120mm

Denward Dell Pty Ltd TA Surimex

Vascular

DW007	pfm Contrast Port	High pressure injection port system: plastic or plastic/titanium port 	Port: length 32.1mm, width 23.6mm, height 13.2mm. Catheter: 6.6 or

with silicone mebrane; connectable polyurethane catheter; introducer 	 8.4 French, length 750mm

Design for Vision Pty Ltd

Ophthalmic

DV246	Rayner Sulcoflex Ashperic (Premium) I.O.L.	Pseudophakic Supplementary I.O.L.O.L.	-10.0D to -5.50D in 0.5D increments.                +5.50D to 10.00D in

0.5D increments

DV247	HOYA AF-1  iMics1 NY-60	Preloaded Mini Incision, Aspheric, Blue-blocker, Single-piece, 	+6.0D to 26.0D (0.5 steps)

Hydrophobic

DV248	HOYA PY-60MV	Preloaded in cartridge, Multifocal, Aspheric, Blue-blocker, Single 	+14.0D to 27.0D (0.5 steps)

Piece, Hydrophobic

DV249	Rayner Super Premium Toric I.O.L.	Acrylic foldable toric single piece I.O.L	-10.0D to 0.00D Sphere: 1D to 11.00D Cylinder in 0.25 steps

+31.00D to +35.00 Spit: 1D to 11.00D

Cylinder in 0.25steps

Device Technologies Australia Pty Ltd

Orthopaedic

DE301	Suture Button	Multiple hole button for fixation of bone to bone or soft tissue to 	2.6mm - 7.5mm

bone, and are intended as fixation posts, a distribution bridge, or for

distributing suture tension over areas of ligament or tendon repair

Specialist Orthopaedic

DE297	BioComposite Interference Screw	Soft Tissue Fixation Device	7mm - 35mm

DE298	Tightrope Syndesmosis Buttress Plate	For Syndesmosis and Fracture Repair	Universal one size only

DE299	Meniscal Cinch	Meniscal Repair Device	Universal One size only

New Products for Prostheses List Report	Page 9 of 46

Billing 	Product 	Further Description	Size

DE302	BioComposite Corkscrew Suture Anchor	The threaded design over the entire length of the suture anchor 	4.5mm - 5.5mm

provides substantially higher pull-out strength than comparable

anchors in poor quality bone. The fully threaded design also prevents

anchor "pull-back" that may occur with countersunk anchors. The

internal drive mechanism substantially increases resistance to

stripping during insertion into hard bone. The recessed FiberWire

suture eyelet is self-aligning and minimizes suture abrasion during

DE303	Distal Biceps Repair Implant Set	Surgical convenience pack that contains 2 different implants, sutures 	2.6mm (Button), 7mm (Tenodesis Screw)

and instruments for the repair of ruptured tendons

DE304	BioComposite SutureTak Suture Anchor	Absorbable suture anchor with a molded-in suture eyelet. The unique	3mm

suture eyelet maintains its strength throughtout most of the

degradation cycle and eliminates suture abrasion during knot tying.

The flexible eyelet eliminates the need to orientate the eyelet during

insertion to optimize suture sliding

DE305	BioComposite PushLock	The PushLock is a knotless anchor used for repair of soft tissue to 	3.5mm - 5.5mm

bone. The unique PushLock design allows the surgeon to adjust the

amount of tension on the tissue intraoperatively allowing for precise

tisse reduction. The tissue is securely held in a knotless fashion

allowing for soft tissue healing to bone.

DE306	BioComposite SwiveLock	The SwiveLock is a 4.75 or 5.5mm twist-in knotless anchor. This 	4.75mm - 5.5mm

anchor functions very similar to the PushLock but with a twist-in

design. This anchor is available with a b-TCP and PLLA anchor body

and PEEK eyelet.

Urogenital

DE300	Ascend Pelvic Floor Repair System	Ascend AC: Anterior Compartment Mesh for Vaginal Vault 	Width: 5.7 - 8.7 cm, Length 10 - 13 cm.

Prolapse. Ascend PC: Posterior Compartment Mesh for Vaginal

Dj Orthopaedics Pty Ltd

Orthopaedic

DD001	Linear Hip Stem	Linear Hip Stem Standard or Lateral Offset (reduced neck)	Sizes 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 17 and 19 (standard and

lateral offsets)

DD006	Foundation Hip System 450, 460	Foundation Non-porous, cemented Stem	8, 9, 10.5, 12, 13.5, 15, and 16.5

DD007	Foundation Hip System, 440, 470, 480	Foundation Porous, Press Fit, fracture Stem with or without collar	8, 9, 10.5, 12, 13.5, 15, 16.5, 18.0

DD017	3D Knee System Femoral Component 	Femoral Component, cemented, CoCr 	Size 2 to 12

DD018	3D Knee System Femoral Component 	Femoral Component, uncemented,  beaded, CoCr	Size 2 to 12

DD019	3D Knee System Tibial Baseplate 	Tibial Baseplate, cemented, CoCr	Size 1 to 12

DD020	3D Knee System Tibial Baseplate 	Tibial Baseplate, uncemented,  beaded, CoCr and Titanium	Size 1 to 12

DD021	3D Knee System Tibial Insert 	Tibial insert, UHMWPE, fixed with lateral pivot with locking screw	Size 1 to 12, 9mm to 19mm

DD022	3D Knee System Patellar component 	All poly, cemented patella, 3 pegs 	Size 26 to 38mm

DD023	FMP Acetabular Shell	Titanium, non HA, beaded, variable screw holes	42-70mm

DD024	FMP Femoral Head	CoCr, metal on metal	28 to 38mm

DD025	FMP Acetabular Screws	Titanium, cancellous screws	25mm to 50mm

DD026	R120 Cemented Femoral Stem	CoCr, unpolished, tapered, collared, separate neck	Size 1 to 6

New Products for Prostheses List Report	Page 10 of 46

Billing 	Product 	Further Description	Size

DD027	R120 Uncemented Femoral Stem	Femoral Stem porous/HA coated, Modular, CrCo, standard lengths	Size 1 to 6

DD028	R120 Femoral Neck	CoCr, varying offsets & versions	32-38mm length, varying degrees

DD038	R120 Metal Femoral Head	R120 Metal Femoral Head >32mm	36mm

DD039	R120 Metal Femoral Head	R120 Metal Femoral Head <32mm	28mm, 32mm

DD040	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head > 32mm	36mm

DD041	R120 Ceramic Femoral Head	R120 Ceramic, Biolox Femoral Head <32mm	28mm - 3.5mm to +3.5mm                                             32mm -

4.0mm to +4.0mm

DD042	Foundation Unipolar System - CoCr Unipolar Sleeves	Unipolar sleeves are used in conjunction with Unipolar CoCr 	-3.5mm,+0mm (neutral), +3.5mm, +7mm & +10mm

Femoral Heads to provide -3.5mm, +0mm, +3.5mm, +7.0mm &

+10mm neck length options when used in conjunction with a femoral

hip component in hemi-arthroplasty operations.

DD043	FMP Acetabular System - Acetabular cup insert, metal on metal	Modular metal on metal liner, available in 28mm ID, 34mm ID, 	28mm ID, 34mm ID, 38mm ID, to fit FMP Acetabular Cups from 48

38mm ID, to fit FMP Acetabular Cup system	 mm to 70mm OD

DD044	FMP Acetabular System - Acetabular Cup Insert UHMWPE	Acetabular cup inserts, UHMWPE compression moulded and cross-	ID of 22mm, 28mm, 32mm to suit Acetabular shells of OD 40mm-

linked.  22mm, 28mm and 32mm Internal Diameters available in 0-	70mm, available in 0,10,20-degree hooded options

degree (neutral), 10-degree hooded and 20-degree hooded options.

DD045	FMP Acetabular System - Constrained Liner Locking Ring	28mm constrained liner locking ring, manufactured from titanium, is 	one size, to fit all 28mm ID constrained liners

used with the FMP constrained acetabular liners.

DD046	FMP Acetabular System - Constrainer Liner	28mm constrained liner and titanium locking ring is used with the 	28mm ID, from MP5 to MP12 (40mm through to 70mmOD)

FMP acetabular system to treat recurrent dislocation.

DD047	Revelation Hip System - Femoral Component, Ti, Grit Blast, non 	Non modular femoral hip stem, designed for uncemented use, left & 	16 stems: 8 sizes Left & 8 sizes Right - 8.0, 9.0, 10.5, 12.0, 13.5,

HA, standard & lateral offset	right specific with 130 degree neck angle & 12 degrees of built-in 	15.0 & 16.5

anteversion.  Proximal circumferential "3D" beading, a highly

polished neck & highly polished distal stem

DD048	CLP Hip System - Femoral Component, Ti, Grit Blast, non HA, 	Non modular femoral hip stem, designed for uncemented use, and to 	14 x standard offset components and 12 lateral offset components

standard and lateral offset	be used with CoCro or Ceramic heads in total hip arthroplasty, or

Bipolar heads in hemi-arthroplasty

DD049	Foundation Unipolar System - CoCr Unipolar Femoral Heads	CoCr unipolar femoral heads, 40mm to 64mm. Unipolar Femoral 	40mm to 64mm in 2mm increments

DD050	FMP Acetabular System - CoCro Femoral Heads	CoCro femoral heads in 22mm and 32mm diameters to fit with FMP 	22mm in +0,+4,+8mm and 32mm in -4.0, +4, +8, +12mm, diameters

acetabular liners and FMP acetabular shells

Specialist Orthopaedic

DD002	Turon Shoulder System - Humeral Neck	Turon - Humeral Neck	Neutral and 7.5 Degree

DD003	Turon Shoulder System - Humeral Head	Turon Standard Humeral Head, Standard and Offset	38-54mm x 14-26mm

DD004	Turon Shoulder System - All-Poly Glenoid	Turon - All-Poly Glenoid, Keeled and Pegged	38mm, 42mm, 46mm, 50mm, 54mm

DD005	Turon Shoulder System - Humeral Stems	Turon Humeral Stem, Primary and Revision	6-16mm x 115mm and 6-16mm x 200mm

DD029	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm

DD030	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm

DD031	Foundation Shoulder System	Pegged & Keeled Glenoid, compression moulded UHMWPE	38mm to 54mm

DD032	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm

DD033	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large

DD034	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm

New Products for Prostheses List Report	Page 11 of 46

Billing 	Product 	Further Description	Size

DD035	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm

DD036	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset

DD037	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm

Emagin Pty Ltd

Ophthalmic

EG011	Intracorneal rings	Intracorneal rings	Arc Length 90-210, thickness 0.1 to 0.35mm

EG012	Artisan Anterior Chamber IOL	Phakic Intraocular Lens Myopic / Hyperopic	5.00mm Optic Diameter x 8.5 in overall length;

Endotherapeutics Pty Ltd

Urogenital

ET060	Ophira Minisling System	Mini sling system made from monofilament mesh, held between self 	One size.

anchoring polypropylene columns in a fishbone design.  Supplied

with a retractable insertion guide for sling placement.  Ophira sling

has a blue loosening suture inserted in the base of one of the fixation

arms, allowing intraoperative adjustment.

ESKA Australia

Orthopaedic

EK090	Biolox Delta Acetabular Liner	Biolox Delta ceramic acetabular liner	28mm, 32mm, 36mm

EK091	Ceramic Femoral Head	Ceramic Femoral Head - Delta	36 to 44mm

Exactech Australia

Orthopaedic

EX052	All Polyethylene cemented acetabular component	The All Polyethylene cemented acetabular components are indicated 	22mm ID: 44mm OD, 46mm OD, 48mm OD, 50mm OD, 52mm OD,

for use in skeletally mature individuals undergoing primary surgery 	 54mm OD                            28mmID: 48mmOD, 50mmOD,

for total hip replacement due to osteoarthritis, rheumatoid arthritis, 	52mmOD, 54mm OD, 56mm OD, 58mm OD, 60mm OD

osteonecrosis, ankylosing spondylitis, congential hip dysplasia, 	32mm ID: 52mm OD, 54mmOD, 56mm OD, 58mm OD, 60mm OD

post-traumatic degenerative problems of the hip, and for treatment of

proximal femoral fractures where prosthetic replacement is

determined by the surgeon as the preferred treatment.

EX053	Novation Cemented Plus Femoral Stem	The Exatech Novation Cemented Femoral Stems are a line addition to	Size 10, 11, 12, 13, 14, 15, 17

the AcuMatch C-Series Cemented femoral stems, as follows: The

trapezoidal cross-sectional area was modified to a circulo-trapezoidal

geometry. A change to the sizing range and neck length.  12/14

trunnion on neck to connect to femoral heads.

EX054	Novation Distal Centralizer, PMMA	The Exatech distal centralizer is used for cemented only hip 	Size 10mm, 11mm, 12mm, 13mm, 14mm, 15mm, 17mm

arthroplasty, it centralises the stem position in the femur.

New Products for Prostheses List Report	Page 12 of 46

Billing 	Product 	Further Description	Size

EX056	Optetrak Net Compression Molded Cruciate Retaining All 	The Exatctech Optetrak Comprehensive Knee System is a knee joint 	Size 1 - 9mm, 11mm, 13mm

Polyethylene Tibial Component	prosthesis intended for use in treating human knee joint diseases.  It 	Size 2 - 9mm, 11mm, 13mm

consists of femoral components, tibial components, patella 	Size 3 - 9mm, 11mm, 13mm

components and a variety of optional augmentation blocks and 	Size 4 - 9mm, 11mm, 13mm

stems.	Size 5 - 9mm, 11mm, 13mm

Twoic models are used to address specific indications and customer 	Size 6 - 11mm, 13mm

preferences:  Cruciate Retaining (CR), Posterior Stabilised (PS),

EX057	Optetrak Net Compression Molded Posterior Stabilised All 	The Exactech Optetrak Comprehensive Knee System is a knee joint 	Size 1 - 9mm, 11mm, 13mm

Polyethylene Tibial Component	prosthesis intended for use in treating human knee joint diseases.  It 	Size 2 - 9mm, 11mm, 13mm

consists of femoral components, tibial components, patella 	Size 3 - 9mm, 11mm, 13mm

components and a variety of optional augmentation blocks and 	Size 4 - 9mm, 11mm, 13mm

stems.	Size 5 - 9mm, 11mm, 13mm

Twoic models are used to address specific indications and customer 	Size 6 - 11mm, 13mm

preferences:  Cruciate Retaining (CR), Posterior Stabilised (PS),

Specialist Orthopaedic

EX046	Equinoxe Compression Screw	The compression screw compresses the glenoid plate to the bone 	4.5x18mm white, 4.5x22mm black, 4.5x26mm orange, 4.5x30mm

while providing 30 degrees of angular variability	blue, 4.5x34mm red, 4.5x38mm green, 4.5x42mm yellow, 4.5x46mm

EX047	Equinoxe Glenosphere Locking Screw	The Locking Screw locks compression screws to the glenoid plate at 	one size

a variable angle

EX048	Equinoxe Humeral Liner including Humeral Adapter Tray	The Equinoxe Reverse Shoulder System includes a reverse semi-	Liner: 38mm+0, 38mm+2.5, 42mm+0, 42mm+2.5 Constrained

constrained prosthesis for use in total-shoulder joint replacement 	Humeral Liner: 38mm+0, 38mm+2.5, 42mm+0, 42mm+2.5 Tray: +0,

procedures in cases with an irreparable or nonfunctional rotator cuff.	 +5, +10

EX049	Equinoxe Glenoid Plate	The glenoid plate provides multiple options for screw insertion	one size

EX050	Equinoxe Glenosphere	The glenosphere aids in glenosphere insertion and protects any 	38mm, 42mm

remaining intact soft tissues.

EX051	Equinoxe Humeral Long Stem	The long/revision stem is intended for cemented fixation only. The 	8x175mm, 8x215mm, 10x200mm, 12x200mm

long/revision stem is advised when the distal bone quality is

insufficient to adequately anchor the primary stems (typically as a

result of mid-humeral fractures)

EX055	Equinoxe Humeral Stem, Fracture	The fracture stem is intended for cemented fixation only and is 	Fracture: left: 7mm - 12mm, right 7mm- 12mm Long stem fracture:

advised for 3 & 4 part fractures of the proximal humerus	left 7mm, 200mm right 7mm,200mm

EX058	Equinoxe Humeral Head	The humeral head is used in hemi-shoulder and total-shoulder joint 	38mm - 53mm

replacement procedures and for use in fractures of the proximal

humerus and for use in total-shoulder joint replacement procedures in

conjunction with an irreparable or nonfunctional rotator cuff.

Multiple head heights for each diameter provides surgeon flexibility

in patients with soft tissue challenges

EX059	Equinoxe Humeral Stem, primary including replicator plate	The cemented primary humeral stem is intended for cemented 	1.5mm o/s, 4.5mm o/s  & 6mm - 17mm

fixation only. The press-fit are intended for press-fit applications but

may be used with bone cement if deemed appropriate by the surgeon

EX060	Equinoxe Glenoid, keeled	UHMWPE component used to replace the Glenoid during total 	small, medium, large

shoulder arthroplasty. This component is to be used with the

Equinoxe total shoulder replacement

EX061	Equinoxe Glenoid, pegged	UHMWPE component used to replace the Glenoid during total 	small, medium, large

shoulder arthroplasty. This component is to be used with the

Equinoxe total shoulder replacement

New Products for Prostheses List Report	Page 13 of 46

Billing 	Product 	Further Description	Size

FOL Technology PTY Ltd

Orthopaedic

FO001	MGS Revision Modular stem neck	Modular Neck	65 - 95 mm

FO002	MGS Revision Modular stem	Modular stem	130-210mm

FO003	Samo Revision Hip System acetabular	Acetabular reinforcement ring with hook	44 - 64 mm

FO004	Samo Revision Hip System acetabular	Acetabular reinforcement ring	44 - 64 mm

FO005	Samo acetabular cup ceramic head	Ceramic femoral head	S, M, L, and XL

FO006	Samo acetabular cup femoral head	CoCr femoral head	S, M, L and XL

FO007	Samo acetabular cup poly insert	X linked poly insert	22 - 36

FO008	Samo Acetabular Cup	Acetabular cup	40 - 70

FO009	Samo acetabular cup ceramic insert	Ceramic insert	28 - 40

FO010	Samo Acetabular Cup bone screw	Bone screw	20 - 40 mm

FO011	Trekking Knee System, Tibial	Mobile tibial insert	1 - 5 (+0/+7)

FO012	Trekking Knee System, Tibial	Mobile tibial tray, uncemented	1 - 5

FO013	Trekking Knee System, Tibial	Mobile tibial tray, cemented	1 - 5

FO014	Trekking Knee System, Patellar	Patellar	30 - 40

FO015	Trekking Knee System, Tibial Insert	Tibial Insert	1 - 5 (+0/+13)

FO016	Trekking Knee System, Tibial Component	Tibial component cemented	1 - 5

FO017	Trekking Knee System, tibial component	Tibial component uncemented	1 - 5

FO018	Trekking Knee System - Femoral Component	Femoral component cemented	1 - 5

FO019	Trekking Knee System - Femoral Component	Femoral component uncemented	1 - 5

FO020	Multifit	Modular stem	125-165mm

FO021	Multifit Modular Neck	Modular Neck	S, M, L

Global Manufacturing Technology Pty Ltd

Orthopaedic

GM147	Cer-Met Acetabular Shell Bone Screws	6.5 mm cancellous bone screws	25mm to 60mm

Specialist Orthopaedic

GM148	BonOs Inject	Injectable acrylic vertebroplasty cement	40gm

Global Scientific Pty Ltd

Neurosurgical

IG059	DURAGEN PLUS	Collagen Dural Graft Matrix	10cm x 12.5cm

IG060	DURAGEN PLUS	Collagen Dural Graft Matrix	12.5cm x 17.5cm

New Products for Prostheses List Report	Page 14 of 46

Billing 	Product 	Further Description	Size

Gytech Pty Ltd

General Miscellaneous

GP002	Rocket® IPC Catheter Insertion Set and 10 Bottles	Rocket® IPC Catheter Insertion Set  and 10 Bottles	16fg x 40cm silicone catheter

Health Care Surgical Pty Ltd

Neurosurgical

HC006	Squale	Cervical Cage	4-10mm

Orthopaedic

HC005	Swingo	Lumbar Cage	7-14mm

Hologic (Australia) Pty Ltd

Urogenital

YC001	Adiana Permanent Contraceptive System	The Adiana Permanent Contraceptive System provides permanent 	The Adiana Delivery Catheter and handle is approx. 58 cm in length,

female sterilisation by occlusion of the fallopian tubes via a 	with an attached connector cable that is 49 cm in length.  The shaft

hysteroscopic transuterine approach.  The Adiana Permanent 	has a maximum shaft OD of 0.060 inches (+0.005in).  The distal tip

Contraceptive System consists of the Adiana Radiofrequency 	of the device up to the depth make, which enters the fallopian tube,

Generator and an Adiana Delivery catheter with detachable Adiana 	has a maximum OD of 0.053 inches (1.27mm).  The matrix is a

Matrix.  To provide patients with an alternative, highly safe, 	cylindrical shape of approx. 1.60 mm in diameter of approx. 0.44mm

effective, accessible, and widely acceptable female sterilisation 	is created within the centre of the matrix.

option, the Adiana System was develpoed as the next generation

trancervical device.  The intention was to further improve the safety

profile of the trancervical device.  The Adiana System can be placed

in the day procedure setting without the use of general or regional

anesthesia.

Hospira Pty Limited

Neurosurgical

HO004	Gemstar rechargeable system	Rechargeable battery, docking station, AC adaptor and carry case for 	One size

use with the Gemstar infusion system.

Integra Neurosciences Pty Ltd

General Miscellaneous

IG002	NeuraGen	NeuraGen is a semi-permeable Type 1 collagen tube for peripheral 	2mm x 2cm, 3mm x 2cm, 4mm x 2cm, 5mm x 2cm, 6mm x 2cm, 7mm

nerve repair. It provides a protective environment and conduit for 	x 2cm, 1.5mm x 3cm, 2mm x 3cm, 3mm x 3cm, 4mm x 3cm, 5mm x

axonal regrowth across a nerve gap.  It is biocompatible and 	3cm, 6mm x 3cm, 7mm x 3cm

completely resorbed. The open collagen structure facilitates suture

placement. It has a resilient structure that maintains an open lumen

throughout the process of axonal growth.

New Products for Prostheses List Report	Page 15 of 46

Billing 	Product 	Further Description	Size

IG003	NeuraWrap	NeuraWrap nerve protector is designed to provide an interface 	3mm x 2cm, 3mm x 4cm, 5mm x 2cm, 5mm x 4cm, 7mm x 2cm, 7mm

between the nerve and the surrounding tissues. NeuraWrap remains 	x 4cm, 10mm x 2cm, 10mm x 4cm

in place during the active phase of tissue healing and is completely

resorbed after tissue response has resolved. The porous outer layer

of NeuraWrap comprises a tubular matrix that mechanically resists

compression from surrounding tissue and excludes scar tissue

ingrowth. The semi-permeable inner membrane allows passage of

small molecules (ie water, ions, metabolites, nutrients) but prevents

the escape of endogenous growth factors (Nerve Growth Factor).

NeuraWrap provides a new alternative for the treatment of peripheral

nerve injuries.

Neurosurgical

IG004	Spetzler Lumbar-Peritoneal Shunt System	Shunt, CSF Reservoir, In-line valve	Catheter length 80 - 105cm, Reservoir small & large, Valve pressure

range low - high

IG005	Novus Hydrocephalic Shunt Kit	Pressure range low, medium	Standard, mini

IG006	Heyer-Schulte Spetzler Lumbar-Peritoneal Low Pressure Flushing 	-	Small, large

Reservoir

IG007	Heyer-Schulte Connectors for Neurosurgical Use	Pudenz straight, Pudenz right angled, Pudenz three-way (Y) 	Each in one size

Threaded straight, Threaded right angled, Double threaded straight

IG008	Heyer-Schulte Ommaya CSF Reservoir	Standard, side-inlet, convertible, mini	1.5 - 2.5cm and mini

IG009	Heyer-Schulte Pudenz Ventricular Catheter	-	small, standard, right-angled

IG010	Shunt	Components - catheter: Atrial	55cm - 60cm, Low - High pressure range

IG011	Shunt	Peritoneal	90 - 120cm

IG012	Shunt	Ventricular	14.5cm - 23cm

IG013	Shunt	Reservoir	Standard, Large

IG014	Heyer Schulte Portnoy Flanged Ventricular Catheter	Composition - silicone with tantalum markings	Length 18cm, outer diameter 8mm

IG015	Cordis Omnishunt System, Hakim Valve Series	Hakim Valve System	Drainage Cath 110 cm, F7. Vent. Cath 15cm, F8.

IG016	Cordis Standard Valve System Hydrocephalus Valves	Atlas Valve System	Drainage Cath 110 cm, F7. Vent. Cath 15cm, F8.

IG017	Precision Flow-OSV II Valve System	Lumbar peritoneal OSV11-Lumboperitoneal System Hydrocephalus 	Lumber Catheter 80cm, F5  Peritoneal Catheter 110cm, F7

Shunt

IG018	Precision Flow-OSV II Valve System 	Ventricular/Atrial OSV11-Ventricular /Atrial Hydrocephalus Shunt	Drainage Cath 110 cm, F7. Ventricular Catheters 7,9,13 & 15 cm

IG019	Precision Flow-OSV II Valve System	Ventricular/Peritoneal OSV11-  Ventricular/Peritoneal Hyrocephalus 	Drainage Cath 110 cm, F7. Ventricular Catheters 7,9,13 & 15 cm

Shunt

IG020	Atrial Catheter 	Components - catheter: Atrial Atrial Catheters  Hydrocephalux Valve	Length: 46cm, F7.  OD: 2.1mm; ID:1.1mm

Accessories

IG021	Peritoneal Catheter	Peritoneal Catheters	Length: 91cm, F7.  OD: 2.1mm; ID:1.1mm

IG022	Connectors	Silicone and Stainless Steel	Straight, right angle, Y, T

IG023	Cordis Omnishunt System	Silicone and Synthetic ruby	Very low to very high pressures

IG024	Gravity Compensating Accessory	Silicone/Stainless steel	low, medium & high pressures

IG025	Ventricular Catheter	Silicone, with and without right angle connectors	3-15cm, finned, straight and right angle

IG026	Contour-Flex Valves	Silicone encased CSF Valve	Smal (24mm Length) or Regular (28mm Length), low medium or high

pressure

New Products for Prostheses List Report	Page 16 of 46

Billing 	Product 	Further Description	Size

IG027	Contour Flex Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, silicone ventricular and 	Small (24mm Length) or regular (28mm Length); low, low/medium

peritoneal catheters	and medium pressure; various catheter and valve configurations

IG028	Equi Flow Valves	Valve only	Small (35mm length) or Regular (40mm length); low, low/medium and

medium pressure

IG029	Equi Flow Shunt Assemblies	CSF Shunt, includes silicone ventricular and peritoneal catheters, 	Small (35mm length) or Regular (40mm length); low, low/medium and

silicone encased overdrainage control valve	 medium pressure; various kit configurations

IG030	Cardiac/Peritoneal Catheters	SiliconDistal Catheter, ID 1.3mm, OD 2.5mm	90cm, barium impregnated silicone catheter, closed or open ended,

with or without slits

IG031	Ventricular Catheters	Silicon Ventricular Catheter	15cm - 25cm, optional flanges or right angle or endoscopic tip. ID

1.3mm, OD 2.5mm

IG032	Burr Hole Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, silicone ventricular and 	16mm or 12mm base; low, medium or high pressure, various kit

peritoneal catheters	configurations

IG033	Reservoirs	Shunt component	9mm to 25mm, with or without convertible outlet port, burr hole or

flat bottom style

IG038	DuraGen	Collagen dural graft matrix	2.5cm x 2.5cm

IG039	DuraGen Plus	Collagen dural graft matrix	2.5cm x 2.5cm

IG040	DuraGen	Collagen dural graft matrix	2.5cm x 7.5cm

IG041	DuraGen Plus	Collagen dural graft matrix	2.5cm x 7.5cm

IG042	DuraGen Suturable	Collagen dural graft matrix	2.5cm x 7.5cm

IG043	DuraGen	Collagen dural graft matrix	5cm x 5cm

IG044	DuraGen Plus	Collagen dural graft matrix	5cm x 5cm

IG045	DuraGen Suturable	Collagen dural graft matrix	5cm x 5cm

IG046	DuraGen	Collagen dural graft matrix	7.5cm x 7.5cm

IG047	DuraGen Plus	Collagen dural graft matrix	7.5cm x 7.5cm

IG048	DuraGen Suturable	Collagen dural graft matrix	7.5cm x 7.5cm

IG049	DuraGen	Collagen Dural graft matrix	10cm x 12.5cm

IG051	DuraGen Suturable	Collagen dural graft matrix	10cm x 12.5cm

IG052	Electa right angle guide	Silicone	One Size Only

Plastic and Reconstructive

IG034	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer membrane 	5cm x 5cm

system for skin replacement made of a porous matrix of fibers of

cross-linked bovine tendon collagen and glycosaminoglycan and

polysiloxane layer.

IG035	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer membrane 	10cm x 12.5cm

system for skin replacement made of a porous matrix of fibers of

cross-linked bovine tendon collagen and glycosaminoglycan and

polysiloxane layer.

IG036	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer membrane 	10cm x 25cm

system for skin replacement made of a porous matrix of fibers of

cross-linked bovine tendon collagen and glycosaminoglycan and

polysiloxane layer.

New Products for Prostheses List Report	Page 17 of 46

Billing 	Product 	Further Description	Size

IG037	Integra Artificial Skin (IDRT) Terminally Sterile	INTEGRA  Dermal Regeneration Template is a bilayer membrane 	20cm x 25cm

system for skin replacement made of a porous matrix of fibers of

cross-linked bovine tendon collagen and glycosaminoglycan and

polysiloxane layer.

Specialist Orthopaedic

IG053	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 2mm

IG054	Universal Total Wrist Implant System (UTW)	Consists of 3 parts, proximal radius component made of 	Radial Component - Small - left & right, Medium - left & right, Large

cobalt/chrome, distal titanium plate, titanium screws and 	- left & right; Carpal Component - Small, Medium, Large;

Polyethylene Carpal Component - Small - Standard, +1, +2,

Medium - Standard, +1, +2, Large - Standard, +1, +2; Bone Screws -

IG055	Kinetik Great Toe Implant	Phalangeal Component made of titanium alloy 01-2010, 01-2012, 01-	0,1,2,3

2014, 01-2016

IG056	Kinetik Great Toe Implant	Metatarsal Component  made of chrome cobalt 01-2002, 01-2004, 	1, 2, 3 Right & Left

01-2006, 01-2003, 01-2005, 01-2007

IG057	Kompressor	Titanium compression screw	10-34mm

IG058	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma coating	1-4

Invatec Technology Center GmbH

Vascular

IV002	Cristallo Ideale Carotid Self Expanding Stent System	Cristallo Ideale  Nitinol, Carotid Self Expanding Hybrid Stent 	Cylinder Diameter: 7.0mm - 11.0 mm. Taper Diameter 6.0/9.0 -

system, 5F introducer sheath compatible, Rapid Exchange design, 	7.0/10.0. Length 20mm - 40 mm.

.014" guide wire compatible. Hybrid stent means open cell designs in

the distal and proximal sections enhance conformability and reduce

radial force in healthy vessel segments. Closed cell design in the

central part secures the appropriate scaffolding and prevents plaque

IQ Medical

Ophthalmic

IQ009	Softec HDY	Acrylic, single piece, foldable intraocular lens with anterior and 	Available in dioptric powers from -5.0 to + 36.0, 1D steps: -5.0 to

posterior optic-haptic square edge, 360 degree optic square edge 	+10.0 and +31.0 to +36.0; 0.5D steps: +10.5 to +18.0 and +25.0 to

design, precision power calculation, aberration technology and blue 	29.5; 0.25D steps: + 18.0 to +25.0

Johnson & Johnson Medical Pty Ltd

General Miscellaneous

JJ812	CONTOUR Curved Cutter Stapler	Curved cutter and stapler for gastrointestinal transaction and 	40mm

JJ816	Proceed™ Ventral Patch	3D, sterile, self expanding, partially absorbable, flexible laminate 	medium (6.4cm x 6.4cm)

mesh for hernia or other abdominal, fascial defect repair that require

addition of a reinforcing or bridging material to obtain the desired

JJ817	Proceed™ Ventral Patch	3D, sterile, self expanding, partially absorbable, flexible laminate 	small (4.3cm x 4.3cm)

mesh for hernia or other abdominal, fascial defect repair that require

addition of a reinforcing or bridging material to obtain the desired

Neurosurgical

JJ808	ZygoLoc	Facet Fusion Cage	3-15mm

New Products for Prostheses List Report	Page 18 of 46

Billing 	Product 	Further Description	Size

JJ809	Viper 2 Spine System - Cobalt Chrome Rods	Cobalt Chrome Rod	100-600mm

Orthopaedic

JJ804	MBT Revision Thick Tibial Tray	Tibial Tray	Size range 2 to 5.  Tray Thickness of 25mm

JJ813	Summit Femoral Hip	Titanium, beaded proximally, distal grit blast	0-12

JJ814	Silent Hip System-Femoral Component	Neck preserving femoral stem, titanium, beaded with HA (Duofix)	Sizes 18-28 x 45-70

Specialist Orthopaedic

JJ803	HEALIX BR Anchor	Biocryl Rapide anchor with suture	4.5-6.5mm

JJ805	Global CAP CTA	Global CAP CTA Head	40 - 56 x 15 - 21mm

JJ806	TEMPFIX External Fixation System -transfixing pin sterile kit	Sterile pack for external fixation of lower extremity periarticular 	Sterile transfixing pin lower leg frame kits

fractures

JJ807	TEMPFIX External Fixation System - half pin sterile kit	Sterile pack for external fixation of lower extremity periarticular 	Sterile half pin lower leg frame kits

fractures

JJ810	GRYPHON BR Instability Anchor	Instability Anchor with Orthocord	2.5mm

JJ811	ALPS Elbow System	Locking plates Distal Humerus, Radius, Olecrannon, Coronoid	Small - Large

JJ815	RIGIDFIX BIOCRYL Cross Pin	Cross pin composed of Biocryl (bioabsorbable TCP/PLA)	2.7mm & 3.3mm

Lifehealthcare Pty Ltd

Neurosurgical

LH446	Pillar SA	The Pillar SA PEEK Spacer system is comprised of a variety of 	37Wx28Dx7º 12.5, 14, 16, 18mmH

implants manufactured from PEEK-OPTIMA LT as described by 	37Wx28Dx12º 12.5, 14, 16, 18mmH

ASTM F-2026, with tantalum markers as described by ASTM F-	40Wx28Dx7º 12.5, 14, 16, 18mmH

560. The implants are available in multiple footprint sizes a variety 	40Wx28Dx12º 12.5, 14, 16, 18mmH

of heights and two angles of lordosis: 7º and 12º. The implant 	43Wx28Dx7º 12.5, 14, 16, 18mmH

incorporates integrated anterior screw holes to allow for medial 	43Wx28Dx12º 12.5, 14, 16, 18mmH

placement of screws as well as a titanium plate for securing the 	37Wx32Dx7º 12.5, 14, 16, 18mmH

screws in one place. The superior and inferior of the implant have a 	37Wx32Dx12º 12.5, 14, 16, 18mmH

pattern of ripples that provide increased stability and help movement	40Wx32Dx7º 12.5, 14, 16, 18mmH

of the device.	40Wx32Dx12º 12.5, 14, 16, 18mmH

43Wx32Dx7º 12.5, 14, 16, 18mmH

43Wx32Dx12º 12.5, 14, 16, 18mmH

LH447	Pillar SA	The Pillar SA PEEK Spacer system is comprised of a variety of 	5.0x25, 30, 35mm screws

implants manufactured from PEEK-OPTIMA LT as described by

ASTM F-2026, with tantalum markers as described by ASTM F-

560. The implants are available in multiple footprint sizes a variety

of heights and two angles of lordosis: 7º and 12º. The implant

incorporates integrated anterior screw holes to allow for medial

placement of screws as well as a titanium plate for securing the

screws in one place. The superior and inferior of the implant have a

pattern of ripples that provide increased stability and help movement

of the device.

New Products for Prostheses List Report	Page 19 of 46

Billing 	Product 	Further Description	Size

LH448	Pillar SA	The Pillar SA PEEK Spacer system is comprised of a variety of 	37W, 40W, 43W, cover plates

implants manufactured from PEEK-OPTIMA LT as described by

ASTM F-2026, with tantalum markers as described by ASTM F-

560. The implants are available in multiple footprint sizes a variety

of heights and two angles of lordosis: 7º and 12º. The implant

incorporates integrated anterior screw holes to allow for medial

placement of screws as well as a titanium plate for securing the

screws in one place. The superior and inferior of the implant have a

pattern of ripples that provide increased stability and help movement

of the device.

LH450	DSS Pedicle Screw	The DSS Pedicle Screw is a mono-axial pedicle screw designed for 	5.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length

implantation in the posterior throacolumbar spine for skeletally 	6.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length

mature patients	7.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length

8.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length

LH451	DSS Spacer	The DSS Spacer is an integral component of the DSS pedicle screw 	One size only

construct. It is used on the mono-axial DSS screw and is used each

time a screw is placed. It can not be used on its own.

LH452	DSS Breaking Nut	The DSS Breaking Nut is a set screw that locks the DSS pedicle 	One size only

screw for final tightening. It is an integral part of the DSS pedicle

screw system, is used every time and can not be used on its own.

LH453	DSS Washer	The DSS Washer is a washer that is an integral part of the DSS 	One size only

construct. The DSS construct can  not be used without the washer

nor can the washer be used as a separate implant.

LH457	DSS Fusion Coupler	The DSS Fusion Coupler is a telescoping coupler that rigidly joins 	20mm - 22mm

the DSS pedicle screws.	22mm - 25mm

25mm - 31mm

31mm - 43mm

Orthopaedic

LH456	DSS Fusion Coupler Set Screw	The DSS Fusion Coupler set screw locks the telescoping fusion 	DIA700-04 for 20mm - 22mm fusion coupler

couplers rigidly in place. This set screw can only be used for this 	DIA70022-04 for 22mm - 25mm / 25mm - 31mm / 31mm - 43mm

purpose, is used every case and can not be used for any other 	fusion couplers

Specialist Orthopaedic

LH443	I.T.S. Distal Humeral Locking Plates	Humeral Plates, Distal	4-7 holes, dorsolateral, left and right; 8-10 holes, medial, left and right

(Screw diameter 3.5mm)

LH444	Hinge Pediatric Plating System - Screws	2 screws for articulated growth-correction fixation plate	4.5 x 35mm, 4.5 x 30mm, 4.5 x 25mm

LH445	Hinge Pediatric Plating System - Hinge Plate	Articulated growth-correction fixation plate	12mm, 16mm, 20mm (distance between anchoring points)

LH449	Kainos+βTCP with SmartPReP 2 APC-20	Beta-tricalcium phosphate (βTCP) granules with autologous platelet 	10cc βTCP: 20ml blood process pack for 3ml APC

concentrate (APC+)

LH454	Horizon Subtalar Implant	Subtalar Screw	6mm, 8mm, 10mm, 11mm, 12mm

LH455	Kainos+βTCP with SmartPReP 2 APC-60	beta-tricalcium phosphate (βTCP) granules with autologous platelet 	20cc βTCP; 60ml blood process pack for 5-10ml APC

concentrate (APC+)

LH458	I.T.S. Pilon Plate	Locking Pilon Plates	4.6 and 8-holes (Screw diameter: Cancellous 4.2mm; Cortical 4.5mm)

LH459	I.T.S. Olecranon Plate	Locking Olecranon Plates	6, 8, 10 and 12-holes (Screw diameter: Cancellous 4.2mm; Cortical

3.5mm)

New Products for Prostheses List Report	Page 20 of 46

Billing 	Product 	Further Description	Size

LMT Surgical Pty Ltd

Specialist Orthopaedic

LM096	Memometal Anchorage Bone Screws	Bone Plate Screws, locking and non-locking	3.0-3.5mm diameter, 8-40mm length

LM097	Memometal Anchorage Bone Plates	Osteosynthesis Bone Plate System	Length 41mm, 51.5mm, 53mm Thickness 1.3mm, 1.5mm

LM098	Extremity Medical Compression Screw System	Compression Screw for fixation across fragments	3.0mm, 4.5mm, 6.5mm

LSS Surgical Pty Limited

Orthopaedic

LS030	Gladiator Bipolar Hip System	Gladiator bipolar hip system, bipolar CoCr head 22mm to 32mm	22mm short, 28mm short, medium, long 32mm short medium long

LS031	Gladiator Bipolar Hip System Bipolar CoCR Head	Gladiator Bipolar Hip System Bipolar CoCR Head 36mm	36mm Short Medium Long

LS032	Gladiator Bipolar Hip System	Gladiator Bipolar	36mm x 22mm, 37mmx22mmx38mmx22mm, 39mmx22mm,

40mmx22mm, 41mmx22mm, 42mmx28mm, 43mmx28mm,

44mmx28mm, 45mmx28mm, 46mmx32mm, 47mmx32mm,

48mmx32mm, 49mmx32mm, 50mmx36mm, 51mmx36mm,

52mmx36mm, 53mmx36mm, 54mmx36mm, 55mmx36mm,

56mmx36mm, 57mmx36mm, 58mmx36mm, 59mmx36mm,

60mmx36mm, 61mmx36mm, 62mmx36mm, 63mmx36mm,

64mmx36mm, 65mmx36mm

LS033	Lineage and Transcend Acetabular Systems	Titanium, beaded, non HA	Shells 40 - 80mm in 2mm increments

LS034	Transcend/Lineage Articulation System	Metal femoral head CoCr	28 and 32mm, 4 lengths

LS035	Transcend/ Lineage Articulation System	Ceramic Liner, biolox forte	28mm & 32mm Group 1,2,3 & 4

LS036	Transcend/Lineage Articulation System	Apical dome plug titanium	One size only

LS037	Transcend/Lineage Articulation System	Beaded, Titanium HA coated cup	42 - 74mm in 2mm increments

LS038	Transcend/Lineage Articulation System	Bone screw titanium	6.5mm x 1.5 - 6cm in 0.5cm increments long

LS039	Transcend/Lineage Articulation System	Head ceramic	28mm, 32mm, 3 lengths

LS040	WMT Acetabular Cups All Poly	UHMWPE unmodified 	42 - 68mm in 2mm increments

LS041	WMT  Acetabular Liners	Duramer UHMWPE unmodified Liner	Grp 0, Grp 1, Grp 2, Grp 3, Grp 4, Grp 5, and Grp 6

LS042	WMT Perfecta Hip System	PMMA cement Plug	9 - 21mm in 1mm increments

LS043	Advance Total Knee System	Tibial component, CoCr, cemented	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6

LS044	Advance Total Knee System	Posterior stabilised, fixed tibial insert, UHMWPE	1, 2, 3, 4, 5, 6

LS045	Advance Total Knee System patella components	All poly patella, recessed and onlay	25, 28, 32, 35, 38, 41mm

LS046	Advance Total Knee System	High anterior lipped, Medial pivot UHMWPE fixed tibial insert	0, 1, 2, 3, 4, 5, 6 in 10 - 25mm thicknesses

LS047	Advance Total Knee System	Cemented, grit blasted, minimally stabilised, femoral component 	0, 1, 2, 3, 4, 5, 6

LS048	Advance Revision Knee System augments	Femoral Augments titanium, separate distal and posterior with screw	1 - 5, 5mm thick, 10mm thick, posterior and distal

attachment

LS049	Advance Revision Knee System	Cemented, grit blasted, totally constrained, femoral component, CoCr	1, 2, 3, 4, 5

LS050	Advance Revision Knee System stems	Uncemented stems, femoral and tibial 	11 - 22mm in 1mm increments, 100 & 140mm lengths

LS051	Advance Revision Knee System insert	totally constrained, UHMWPE, fixed tibial insert with reinforcing 	1, 2, 3, 4, 5, 6 in 10 - 30mm in 2mm increments

New Products for Prostheses List Report	Page 21 of 46

Billing 	Product 	Further Description	Size

LS052	Advance Revision Knee System tibial augments	Tibial augments, wedges and blocks, screw attachment 	15 degree, sizes 1, 2/1+, 3/2+, 4/3+, 5/4+, 6/5+, Blocks 5mm, 10mm,

15mm

LS053	Advance Revision Knee System	Revision tibial component,  titanium, cemented	0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6

LS054	Advance Revision Knee System stems	Cemented stems, femoral and tibial	10, 12,14, 16, 18 x 65mm, 15 x 30mm

LS055	Advance Revision Knee System	Optional bone screw for tibial component 	6.5mm x 1.5 - 6cm in 0.5cm increments long

LS056	Advantim Total Knee System	Beaded Femoral Component, CoCr 	Small, Medium, Large, Xlarge

LS057	Advantim Total Knee System	Cemented femoral component, CoCr	Small, Medium, Large, Xlarge

LS058	Advantim Total Knee System	All Poly Tibial UHMWPE	Small, Medium, Large, Xlarge

LS059	Advantim Total Knee System	Tibial Inserts Total Condylar UHMWPE, includes unconstrained 	10-36mm in 2mm increments

insert and minimally stabilised (LSI)

LS060	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium CoCr short stem. This stem 	3" Length in Small-Xlarge

is required for primary prosthesis.

LS061	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium CoCr long stem. This stem 	6" Length in Small-Xlarge

is required for primary prosthesis.

LS062	Advantim Total Knee System	Patella All Poly UHMWPE	25,28,32mm, 35mm, 38mm, 41mm

LS063	Advantim Total Knee System	Cortical Bone Screws, to fix femoral component to bone, Titanium 	4.5mm x 2.0 - 7.5cm in 0.5cm increments long

optional

LS064	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm

LS065	Advance Total Knee System	Tibial component, beaded, titanium	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6

LS066	Advantim / Ortholoc Revision Knee	Femoral component CoCr Revision beaded varying distal and 	Small, Medium, Large, Xlarge

posterior buildups

LS067	Advantim / Ortholoc Revision Knee	Femoral component CoCr Posterior Stabilised, beaded, without 	Small, Medium, Large, Xlarge

LS068	Advantim / Ortholoc Revision Knee	Tibial Revision Smooth/Finned Titanium	6" Length in varying diameters

LS069	Advantim / Ortholoc Revision Knee	Tibial inserts posterior stabilised UHMWPE (LSI and 	Small, Medium, Large, X-Large - 10 to 35mm in 2mm increments

"unconstrained" insert ranges)

LS070	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem Thickened Base (beaded)	Small, Small Plus, Medium, Medium Plus, Large, Large Plus, Xlarge

LS071	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem, medial or lateral wedged base 	Small, Small Plus, Medium, Medium Plus, Large, Large Plus, Xlarge

(beaded) Titanium

LS072	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, cemented, non beaded CoCr	Small, Small Plus, Medium, Medium Plus, Large, Large Plus, Xlarge

LS073	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, uncemented and beaded 	Small, Small Plus, Medium, Medium Plus, Large, Large Plus, Xlarge

LS074	Advantim / Ortholoc Revision Knee	Femoral stems titanium	5 Degree Size 4 10mm5 Degree Size 6 10mm7 Degree Size 4

10mm7 Degree Size 6 10mm

LS075	Advance-Unicondylar Knee System	Uni Femoral component, cemented, CoCR 	Sizes 1, 2, 3, 4

LS076	Advance-Unicondylar Knee System	Uni all poly tibial insert	Sizes 1, 2, 3, 4 in 7mm, 8mm, 9mm, 10mm

LS077	CONSERVE Total hip head	CoCr SLT Taper Femoral Head	Sizes 38mm-54mm in 2mm increments, -3.5 to +3.5 Neck

LS078	CONSERVE PLUS Total Hip Resurfacing System	Titanium Acetabular Shell - Super Polished	ID 36 - 54mm, OD 46 - 64mm

LS079	Advance Total Knee System	Stemmed Condylar medial pivot component, uncemented, beaded, 	1, 2, 3, 4, 5, All in left & right

non HA, CoCr used with anterior lipped insert, minimally

LS080	Advance Total Knee System Augments 	Offset tibial block augments, screw fixation for use with offset 	1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 5mm, 10mm, 15mm

stemmed tibial component

New Products for Prostheses List Report	Page 22 of 46

Billing 	Product 	Further Description	Size

LS081	Advance Total Knee System	Revision tibial component, titanium, cemented with offset stem	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ in Left & Right

LS082	Advance Total Knee System	Stemmed condular medial pivot component, cemented, grit blasted, 	1, 2, 3, 4, 5  All in Left & Right

minimally stabilised, femoral component, CoCr, usually used with a

anterior lipped insert

LS083	CONSERVE PLUS Total Hip Resurfacing System	CoCr Femoral Head - Super Polished	Sizes 36mm - 54mm in 2mm increments

LS084	Lineage Acetabular System	Titanium Deep Profile Multi Hole Acetabular Shell	46 - 74mm in 2mm increments

LS085	Conserve Plus Total Hip Resurfacing System	Titanium Thin Acetabular Shell - Super Polished	36 - 54mm ID in 2mm Increments

LS086	Profemur Total Hip System 	Titanium uncemented proximal body, grit blast 	X-small, Small, Standard 1, Standard 2, Standard 3, Standard 4, Large

LS087	Profemur Total Hip System	Titanium tapered Splined, Straight or bowed Stem, grit blasted 	Length 95 - 215mm, Diameter 10 - 22.5mm

LS088	Profemur Total Hip System	Profemur E Stem - without HA grit blasted 'Titanium	1 Standard - 9 Standard

LS089	Profemur Total Hip System	Titanium uncemented proximal body - HA Plasma sprayed	X-Small, Small, Standard 1, Standard 2, Standard 3, Standard 4, Large

LS090	Profemur Total Hip System	Titanium tapered, Straight or bowed Stem, plasma coated 	Length 95 - 215mm, Diameter 10 - 22.5mm

LS091	Profemur Total Hip System	Titanium Femoral Necks	Length 27 - 38.5mm; Neutral to Ante/Retro - Varus Valgus 2

LS092	Profemur Total Hip System	Anca-fit Femoral Stem with 1/3 proximal HA, grit blast	9.5, 11, 12, 13, 14, 15, 16, 17.5, left and right

LS093	Profemur Total Hip System	Profemur Z, Titanium Tapered Femoral Stem	Standard Length Sizes 1 - 9

LS094	Limb Salvage System for the skeletally immature - Repiphysis	Repiphysis non invasive expandable custom designed prosthesis for 	Custom Made

proximal tibia, distal or total femur (all components delivered as one

unit)

LS096	Guardian Limb Salvage System	Special indication distal femur 	Left & Right

LS097	Guardian Limb Salvage System	Tibial Hinge Assembly with polyethylene bearing, with/ without 	One Size only

rotational stop pin - CoCR

LS098	Guardian Limb Salvage System	Quick Snap Axial Pin, CoCr, Titanium	1, 2, 3, 4

LS099	Guardian Limb Salvage System	Stemmed tibial tray	1 - 5

LS100	Guardian Limb Salvage System	Duramer specialised Tibial insert, UHMWPE	8, 10, 12, 16, 20mm

LS101	Guardian Limb Salvage System	Male-Male Mid-Section extender 	40, 50, 60, 70, 90, 110, 140mm

LS102	Guardian Limb Slavage System	Guardian  Femoral Stem Straight/Tapered - Titanium	11, 13, 15, 17mm x 152mm

LS103	Guardian Limb Salvage System	Proximal Tibial replacement 	One Size Only

LS104	Guardian Limb Salvage System	Resurfacing Femur with extensive distal femoral buildup 	2, 3, 4, Left & Right

LS105	Guardian Limb Salvage System	Guardian femoral Stem Straight With Plasma Collar - Titanium	9, 11, 13 x 120mm

LS106	Guardian Limb Salvage System	Guardian beaded extended collar Femoral Stem Straight/Tapered - 	11, 13, 15, 17mm x 152mm

Titanium

LS107	Guardian Limb Salvage System	Guardian Femoral Stem Straight - without plasma collar Titanium	9, 11, 13 x 120mm

LS108	Procotyl-E cup ceramic inserts	Ceramic insert, biolox forte	Group 1 - 3, Size 28 and 32

LS109	Procotyl-E cup	acetabular reconstruction shell titanium alloy	52mm - 76mm, in 2mm increments

LS110	Procotyl-E cup	unmodified polyethylene liner	Group 1 - 3 sizes 22 - 32

LS111	Procotyl-E T Plate	titanium alloy plates	One size only for left and right

LS112	Procotyl-E screws	titanium alloy	Diameter 5.5mm, Length 15 - 60mm

LS113	Procotyl-E double plate	titanium alloy	4, 5 and 6 holes left and right sides

New Products for Prostheses List Report	Page 23 of 46

Billing 	Product 	Further Description	Size

LS114	Procotyl-E hooks	titanium alloy hook	18mm, 23mm, 28mm

LS115	Procotyl-E L Plates	titanium alloy	One size only for left and right

LS116	Femoral Head	Femoral Head Cast Cobalt Chrome Alloy	22.5mm - 32mm Femoral Head and neck ranging from -3.5mm to

LS117	SLR Biploar Acetabular Shell	Cast Cobalt Chrome Alloy	38mm - 65mm in millimetre increments

LS118	SLR Bipolar Acetabular Liners	UHMWPE	22mm - 32mm ID, ranging from 38mm to 65mm

LS119	Advance HA Coated Tibial Base	Tibial component, beaded, titanium, HA	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6

LS120	Profemur Total Hip System	Titanium Tapered Stem - HA Plasma Spray	Sizes 9 to 18 in 1 mm increments

LS121	Profemur Total Hip System	Titanium Stem with HA Plasma Spray, standard & reduced flare	Size 10 -18

LS122	Advance Double High Tibial Insert	Minimally stabilised, fixed, tibial insert, with high flexion, 	All inserts are available in Left and Right: Sizes 1.5, 0, 1, 2, 3, 4, 5, &

6, in the following increments of 10, 12, 14, 17, 20 & 25mm

LS123	BFH Total, A-class	Cobalt Chrome super finished femoral head. Size range from 36mm to	36mm to 56mm in 2mm increments each with - 3.5mm, 0mm, +

56mm in 2mm increments with 3 head lengths per size	3.5mm head lengths

LS124	Transcend/Lineage Articulation System	Metal femoral head CoCr	36mm, 4 lengths

LS125	Transcend/Lineage Articulation System	Metal CoCr Liner	Grp 1, Grp 2, Grp 3, Grp 4  28, 32 & 36mm

LS126	Transcend/Lineage Articulation System	Head ceramic	36mm, 3 lengths

LS127	Advance HA Coated Femoral Component	Uncemented, beaded, HA, CoCr, usually used with a anterior lipped 	1 - 6 Left and Right

insert

LS128	Advance Total Knee System	Uncemented, beaded, non HA, CoCr, usually used with a anterior 	1, 2, 3, 4, 5, 6

lipped insert

LS129	Transcend/Lineage Articulation System	Metal femoral head CoCr	32mm, 4 lengths

LS130	Lineage A-Class Crosslinked Polyethylene Liner	Standard and lateralized, 0deg and 15deg lipped crosslinked	28, 32, 36ID

LS131	Conserve Total SUPERFIX Shell	Porous coated, super finished, revision resurfacing cup with fins and 	50mm - 72mm OD

screws

LS132	Profemur Xm Femoral Stem	Femoral Stem, CoCr, Cemented, Polished	0, 1, 2, 3, 4

LS133	Profemur Total Hip System	Extension Piece for the profemur R, Titanium, grit blast	L26 x D19mm, D21mm & D23mm;

LS134	Profemur Total Hip System	Revision Hip Proximal Body Extension Piece, Titanium	L52 x D21mm;

LS135	Quadra-Fix Acetabular Shell	Dysplasia Cup, Porous Coated, HA	O.D. 44mm - 66mm

LS136	Quadra-Fix Acetabular Shell 	Quadra-Fix Double threaded, 6.5mm Cancellous bone Screw	35mm - 80mm in 5mm increments

LS137	Conserve Plus A-CLASS Resurfacing Head	CoCr A-CLASS super finished resurfacing femoral head	36mm to 56mm in 2mm increments each with - 3.5mm, 0mm, +

3.5mm head lengths

LS138	Procotyl L  Acetabular Cup	Beaded, Titanium HA coated cup	42 - 68mm

LS139	Procotyl L Acetabular System / Acetabular shell non HA	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments

LS140	Procotyl L metal liner, large head options	CoCr superfinished Metal liners	28,32,36ID

LS141	Procotyl L Delta Ceramic Liner	Delta ceramic liners	28, 32, 36ID

LS142	Procotyl L A-class Crosslinked polyethylene liner,standard & lipped, 	A-class crosslinked poly liners, standard and lipped liners	28,32,36ID

large head options

LS143	Dynasty Acetabular System/ Actebular Shell	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments

LS144	Dynasty Acetabular System / metal liner, large head options	Dynasty Metal liner	ID 28,32,36,38,40,42,44,48

New Products for Prostheses List Report	Page 24 of 46

Billing 	Product 	Further Description	Size

LS145	Dynasty Acetabular System /poly liner	A-class Crosslinked polyethylene liner, standard and lipped, large 	ID 22,28,32,36, 38,40,42,46

head options

LS146	Profemur TL	Primary stem, tapered wedge, plasma coated	1-12

LS147	Guardian Limb Salvage System	Guardian Femoral Neck	One Size Only

LS148	Guardian Limb Salvage System	Guardian mid section male/female taper	40, 50, 60, 70, 90, 110, 140mm

LS149	Delta Modular Heads	Biolox Delta Heads	28mm, 32mm in -3.5mm, 0mm, + 3.5 neck lengths

LS150	Delta Modular Heads	Biolox Delta Heads	36mm in -3.5mm, 0mm, +3.5 neck lengths

Specialist Orthopaedic

LS095	Limb Salvage System for the Skeletally Immature - Repiphysis	Repiphysis non invasive expandable custom designed prosthesis for 	Custom Made

the upper limb (all components delivered as one unit)

Mayo group

Vascular

CM023	Arrow Cannon II Plus Chronic Haemodialysis Catheter Set	Dual Lumen, Retrograde Tunneled, Cuffed, Tip First, Chronic 	15Fg x 24 - 55cm

Haemodialysis Catheter Set

Med-Chem Surgical Pty Ltd

General Miscellaneous

ML004	Touchstone Linear Cutter Stapler 60mm	A device that incorporates a disposable staple cartridge that lays a 	60mm length in staple line with choice of 2.5mm, 3.8mm and 4.5mm

double staggered row of staples on each side of a cutting knife.  Used 	titanium staples

for extensive bowel, gastric, gynaecological and thoracic surgical

stapling procedures.

ML005	Touchstone Linear Cutter Stapler 80mm	A device that incorporates a disposable staple cartridge that lays a 	80mm length in staple line with choice of 3.8mm and 4.5mm titanium

double staggered row of staples on each side of a cutting knife.  Used 	 staples

for extensive bowel, gastric, gynaecological and thoracic surgical

stapling procedures.

ML006	Touchstone Linear Cutter Stapler 100mm	A device that incorporates a disposable staple cartridge that lays a 	100mm length in staple line with choice of 3.8mm and 4.5mm

double staggered row of staples on each side of a cutting knife.  Used

for extensive bowel, gastric, gynaecological and thoracic surgical

stapling procedures.

ML007	Touchstone Linear Cutter Stapler Cartridge (Reloads) 60mm	A disposable staple cartridge used in conjunction with a matched 	60mm length in staple line with choice of 2.5mm, 3.8mm and 4.5mm

Touchstone Linear Cutter Stapler that lays a double staggered row of 	titanium staples

staples on each side a cutting knife.  Used for extensive bowel,

gastric, gynaecological and thoracic surgical stapling procedures.

ML008	Touchstone Linear Cutter Stapler Cartridge (Reloads) 80mm	A disposable staple cartridge used in conjunction with a matched 	80mm length in staple line with choice of 3.8mm and 4.5mm titanium

Touchstone Linear Cutter Stapler that lays a double staggered row of 	 staples

staples on each side a cutting knife.  Used for extensive bowel,

gastric, gynaecological and thoracic surgical stapling procedures.

ML009	Touchstone Linear Cutter Stapler Cartridge (Reloads) 100mm	A disposable staple cartridge used in conjunction with a matched 	100mm length in staple line with choice of 3.8mm and 4.5mm

Touchstone Linear Cutter Stapler that lays a double staggered row of 	titanium staples

staples on each side a cutting knife.  Used for extensive bowel,

gastric, gynaecological and thoracic surgical stapling procedures.

ML010	Touchstone Linear Stapler Cartridge	A device housing a staple cartridge that places a double staggered row	30, 45, 60 and 90mm staple lines in 2.5, 3.5 or 4.8mm staples

of staples into appropriate target tissue.

New Products for Prostheses List Report	Page 25 of 46

Billing 	Product 	Further Description	Size

ML011	Touchstone Linear Stapler	A device housing a staple cartridge that places a double staggered row	30, 45, 60 and 90mm staple lines in 2.5, 3.5 or 4.8mm staples

of staples into appropriate target tissue.

ML012	Touchstone Circular Stapler	A surgical implanting device for placing s specific size of double 	external dimesnion - 25mm, 29mm or 33mm

staggered row of titanium staples in a circular fashion in the large

bowel, small bowel or oesophagus to maintain function of the

digestive tract.  A suitable size is used to match the lumen size of the

patient's digestive tract

ML013	Touchstone Prolapse Haemorrhoid Stapler	A surgical implanting device for placing a specific size of double 	33mm is the external diameter of the device.

staggered row of titanium staples in a circular fashion in the Anal

and/or Rectal region for the circumferential excision of the prolapsed

distal rectal muscosa, as described by Dr. Longo, Italy.

Medical & Optical Instruments Australia Pty Ltd

Specialist Orthopaedic

MO319	Acumed Locking Scapula Plate System	Locking Bone Plate, Scapula	4 hole, 6 hole, 9 hole, 10 hole, 13 hole left and right

Medical Specialties  Australia Pty Ltd

General Miscellaneous

MS056	THD Slide	Transanal Haemorrhoidal Dearterilisation and Pexis System	one size only

Urogenital

MS055	TiLOOP Male	Tension-free mesh made out of titanized polypropylene for 	65 g/m2 (strong)

restoration of male urinary continence.

Medical Vision Australia Pty Ltd

Plastic and Reconstructive

MF054	Cereform Silicone Breast Implant, Anatomical, Textured Surface	Silicone Gel-Filled Breast Implant	100cc to 545cc

MF055	Medpor Porous Polyethylene Biomaterial Custom Made Implant	Porous Polyethylene Biomaterial Custom Made Product for ear, 	Custom designed and made from CT scan image

nose, face and Orbit reconstruction

MF056	Cereform Silicone Breast Implant, Round, Smooth and Textured 	Silicone gel-filled breast implant.	100cc - 500cc

MF057	Cereform "Optima" Silicone Gel-Filled Breast Implant	Silicone gel-filled breast implant with very high profile and filled with	240cc to 500cc

"Optima" high cohesive gel.

Medtel Australia Pty Ltd

Neurosurgical

ME188	Micrus DELTAPAQ Platinum Coil	DELTAPAQ Platinum Coils for endovascular embolisation of 	Coil Diameter from 1.5mm to 10mm +/- .5mm   Coil Length from

microcoils, featuring a traingular wind pattern for increased flexibility 	1cm -.1/+0.25 to 25cm +/- 1cm

and comformance to shape of aneurysm

ME189	Micrus DELTAPAQ Cerecyte Coil	DELTAPAQ Cerecyte Coils for endovascular embolisation of 	Coil Diameter from 1.5mm to 10mm +/- .5mm   Coil Length from

microcoils, featuring a triangular wind pattern for increased flexibility 	1cm-.1/+0.25 to 25 cm +/- 1cm

and conformance to shape of aneurysm.

New Products for Prostheses List Report	Page 26 of 46

Billing 	Product 	Further Description	Size

Medtronic Australasia Pty Ltd

Cardio-thoracic

MC932	Driver Sprint Coronary Stent System	Cobalt Alloy	Diameter: 2.25 - 4.5 mm; Length: 8-30mm

MC933	Advisa DR MRI Pure Scan	Model A3DR01 Digital dual chamber pacemaker with SureScan 	13cc, 22g

Technology (OAE-DDDR) MR Conditional with MVP Mode,

Complete Capture Management Diagnostic (ACM, RVCM), AT/AF

Suite Diagnostics and Therapies, OptiVol Fluid Status Monitoring,

and Therapy Guide Feature

MC934	Advisa DR	Model A5DR01 Digital dual chamber pacemaker (OAE-DDDR)  	13cc, 22g

MVP mode with Complete Capture Management Diagnostic (ACM,

RVCM)  AT/AF Suite Diagnostics and Therapies, OptiVol Fluid

Status Monitoring, and Therapy Guide Feature

MC935	EnRhythm MRI SureScan	Model EMDR01, MRI Conditional, Rate Responsive Dual Chamber 	13cc, 22g

Pacemaker with Anti-Tachycardia functions and MVP

MC936	CapSure Fix MRI Pacing Lead	Model 5086, MRI Conditional	42, 52, 58 cm

MC937	Concerto II	Fully automatic, wireless implantable cardioverter defibrillator with 	38cc

Cardiac Resynchronisation Therapy (CRT), and therapies for

ventricular and atrial tachyarrhythmia.

MC938	Virtuoso II	DR Model - Implantable Cardioverter Defibrillator, Dual Chamber	37cc, 68g

MC939	Virtuoso II	VR Model - Implantable Cardioverter Defibrillator, Single Chamber	37cc, 68g

Neurosurgical

MC930	3550-P4 Passing Elevator Accessory Kit	Passing Elevator Accessory Kit	One size

MC931	3550-63 Percutaneous Lead Introducer Accessory Kit	Percutaneous Lead Introducer Accessory Kit	One size only

MC940	Pocket Adaptors for Deep Brain Stimulation	Pocket Adaptors for Deep Brain Stimulation (Single and Dual 	25.5cm and 27.4cm

MC941	Pocket Adaptors for Spinal Cord Stimulation	Pocket Adaptors for Spinal Cord Stimulation (Single and Dual 	25.5cm and 27.4cm

MC942	Specify 2x8 Surgical Lead	Surgical Lead	30cm and 65cm

MC943	Medtronic myStim Patient Programmer	Patient programmer for Restore and Prime Neurostimulation systems	One size only

(Model 37743)

MC944	8835 Personal Therapy Manager for Synchromed Pumps	Personal Therapy Manager for SynchroMed II implantable infusion 	One size only

pumps

MC945	Medtronic ACTIVA Recharging System for Deep Brain Stimulation	Recharging System for Deep Brain Stimulation	One size only

MC946	Medtronic ACTIVA RC Neurostimulator for Deep  Brain Stimulation	ACTIVA RC Dual channel rechargeable neurostimulator for Deep 	One size only

Brain Stimulation (37612)

MC947	Centrepiece	TiMesh LP	Open Door Graft (GP) Plate

MC948	Centrepiece	TiMesh LP	Trough Plate

Mentor Medical Systems

Plastic and Reconstructive

MN030	Perthese Sensitive Gel Breast Implants	Perthese Sensitive ultra high profile	95cc - 705cc

MN031	Perthese Sensitive Gel Breast Implants	Perthese Sensitive moderate profile	100cc - 800cc

New Products for Prostheses List Report	Page 27 of 46

Billing 	Product 	Further Description	Size

MN032	Perthese Sensitive Gel Breast Implants	Perthese Sensitive moderate plus profile	115cc - 910cc

MN033	Perthese Sensitive Gel Breast Implants	Perthese Sensitive high profile	90cc - 850cc

N Stenning  & Co Pty  Ltd

Neurosurgical

NG054	MicroVention MicroPlex Coil system, Cosmos Complex Coil	MicroVention Cosmos Coil System is designed to provide a stable 	Diameter (mm)/Length (cm): 3/6; 4/8; 4/12; 5/15; 5/18; 5/22; 6/17;

periphery frame and greater volume fill.  The Cosmos coils are made 	6/18; 6/19; 6/22; 6/26; 7/22; 7/23; 7/31; 8/25; 8/27; 8/37; 9/31; 10/36;

of platinum alloy (pt/W: 92/8). The coil is attached to a V-TrakTM 	11/39; 12/43; 13/47; 14/51; 15/55; 16/52; 18/59; 20/65; 22/63; 24/68.

delivery pusher via the polyolefin elastomer member.  The delivery

pusher is a variable stiffness, stainless steel/Pt, tapered mandrel. The

pusher consists of a radiopaque positioning marker that is inserted

into a hand held battery powered Vgrip Detachment Controller.

NG055	MicroVention HydroFrame HydroCoil Embolisation System (HES)	For treatment of endovascular embolisation of intracranial aneuryms 	Loop diameter (mm)/length (cm):  3/6; 4/5; 4/8; 5/10; 5/15; 6/12; 6/19;

and other neurovascular abnormalities such as arteriovenous 	 7/15; 7/28; 8/17; 8/33.

malformations (AVM) and arteriovenous fistulae (AVF).  The coils

are also intended for vascular occlusion of blood vessels within the

neurovascular system to permanently obstruct blood flow to an

aneurysm or other vascular malformation and for arterial and venous

embolisation in the peripheral vasculature.

Nuvasive Australia and NZ  Pty Ltd

Neurosurgical

NV020	VuePoint Fixed Cross Connector	The VuePoint system, of which the VuePoint fixed cross connector is	26mm-50mm

a component, is intended to promote fusion of the cervical spine and

occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic studies), degenerative spondylolisthesis with objective

evidence of neurologic impairment, fracture/dislocation, spinal

stenosis, atlantoaxial fracture with instability, occipitocervical

dislocation, spinal tumour, and/or revision of previous cervical spine

surgery.

NV021	VuePoint inline connector	The VuePoint system, of which the VuePoint inline connectors are a 	3.5mm x (3.5/4.5/6.5)mm

component, is intended to promote fusion of the cervical spine and

occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV022	VuePoint screw (inner set)	The VuePoint system, of which the VuePoint screw (inner set) is a 	Tulip & Laminar Hook - One Size

component, is intended to promote fusion of the cervical spine and 	Offset & Occipital Connector - One Size

occipito-thoracic junction (occiput-T3) and is indicated for 	Parallel Rod Connector - One Size

degenerative disc disease (as defined by back pain of discogenic origin	Inline Rod Connector - One Size

with degeneration of the disc confirmed by patient history and 	Cross Connector - One Size

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

New Products for Prostheses List Report	Page 28 of 46

Billing 	Product 	Further Description	Size

NV023	VuePoint Screw (occipital bone)	The VuePoint system, of which the VuePoint screw (occipital bone) 	4.5mm x (6/8/10/12/14mm)

is a component, is intended to promote fusion of the cervical spine 	5.0mm x (6/8/10/12/14mm)

and occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV024	VuePoint screw (multi axial)	The VuePoint system, of which the VuePoint screw (multi axial) is a 	3.5mm x (10-34mm)

component, is intended to promote fusion of the cervical spine and 	3.5mm x (24-36mm)

occipito-thoracic junction (occiput-T3) and is indicated for 	4.0mm x (10-40mm)

degenerative disc disease (as defined by back pain of discogenic origin	4.5mm x (10-40mm)

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV025	VuePoint rod	The VuePoint system, of which the rod is a component, is intended 	60mm x 3.5mm, 120mm x 3.5mm, 240mm x 3.5mm

to promote fusion of the cervical spine and occipito-thoracic junction

(occiput-T3) and is indicated for degenerative disc disease (as

defined by back pain of discogenic origin with degeneration of the

disc confirmed by patient history and radiographic impairment,

fracture/dislocation, spinal stenosis, atlantoaxial fracture with

instability, occipitocervical dislocation, spinal tumour, and/or

revision of previous cervical spine surgery.

NV026	VuePoint rod (transition)	The VuePoint system, of which the VuePoint transition rod is a 	3.5mm to 5.5mm

component, is intended to promote fusion of the cervical spine and

occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV027	VuePoint Keel Plate (occipital)	The VuePoint system, of which the VuePoint Keel Plate (occipital) is	35/40/45mm

a component, is intended to promote fusion of the cervical spine and

occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV028	VuePoint rod (pre-bent)	The VuePoint system, of which the VuePoint pre-bent rod is a 	240mm

component, is intended to promote fusion of the cervical spine and

occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

New Products for Prostheses List Report	Page 29 of 46

Billing 	Product 	Further Description	Size

NV029	VuePoint offset connector	The VuePoint system, of which the VuePoint offset connectors are a 	11mm, 25mm, 30mm - Offset Lateral Connector

component, is intended to promote fusion of the cervical spine and 	3.5mm x (3.5/4.5/5.5/6.25mm) - Offset Rod-to-Rod connector

occipito-thoracic junction (occiput-T3) and is indicated for 	Eyelet Connector (Occipital) - One Size

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV030	VuePoint hook (laminar)	The VuePoint system, of which the VuePoint hook (laminar) is a 	5.0mm, 7.0mm

component, is intended to promote fusion of the cervical spine and

occipito-thoracic junction (occiput-T3) and is indicated for

degenerative disc disease (as defined by back pain of discogenic origin

with degeneration of the disc confirmed by patient history and

radiographic impairment, fracture/dislocation, spinal stenosis,

atlantoaxial fracture with instability, occipitocervical dislocation,

spinal tumour, and/or revision of previous cervical spine surgery.

NV031	Traverse Bolt	The Traverse system, of which the Traverse bolt is a component, is 	6.5mm x (25/30/35/40/45/50/55/60/65mm)

indicated for use as an adjunct to fusion via a lateral or anterolateral 	7.5mm x (25/30/35/40/45/50/55/60/65mm)

surgical approach, above the bifurcation of the great vessels, in the

treatment of thoracic and thoracolumbar (T1-L5) spine instability, or

via the anterior surgical approach, below the bifurcation of the great

vessels, in the treatment of lumbar and lumbosacral (L1-S1) spine

instability as a result of fracture (including dislocation and

subluxation), tumour, degenerative disc disease (defined as back pain

of discogenic origin with degeneration of the disc confirmed by

patient history and radiographic studies), scoliosis, kyphosis,

lordosis, spinal stenosis, or failed previous spine surgery.

NV032	Traverse Lock Nut	The Traverse system, of which the Traverse lock nut  is a 	One Size

component, is indicated for use as an adjunct to fusion via a lateral or

anterolateral surgical approach, above the bifurcation of the great

vessels, in the treatment of thoracic and thoracolumbar (T1-L5) spine

instability, or via the anterior surgical approach, below the

bifurcation of the great vessels, in the treatment of lumbar and

lumbosacral (L1-S1) spine instability as a result of fracture (including

dislocation and subluxation), tumour, degenerative disc disease

(defined as back pain of discogenic origin with degeneration of the

disc confirmed by patient history and radiographic studies), scoliosis,

kyphosis, lordosis, spinal stenosis, or failed previous spine surgery.

NV033	Traverse Plate	The Traverse system, of which the Traverse Plate is a component, is 	Fixed Plate - Size 15/20/25/30/35/40/45/50/55/60/65/70/80/90mm

indicated for use as an adjunct to fusion via a lateral or anterolateral 	Compression Plate - Size 45/50/55/60/65/70/75/80/85/95/105mm

surgical approach, above the bifurcation of the great vessels, in the

treatment of thoracic and thoracolumbar (T1-L5) spine instability, or

via the anterior surgical approach, below the bifurcation of the great

vessels, in the treatment of lumbar and lumbosacral (L1-S1) spine

instability as a result of fracture (including dislocation and

subluxation), tumour, degenerative disc disease (defined as back pain

of discogenic origin with degeneration of the disc confirmed by

patient history and radiographic studies), scoliosis, kyphosis,

lordosis, spinal stenosis, or failed previous spine surgery.

New Products for Prostheses List Report	Page 30 of 46

Billing 	Product 	Further Description	Size

NV034	Traverse Bone Screw	The Traverse system, of which the Traverse bone screw is a 	5.5mm x (25/30/35/40/45/50/55/60/65mm)

component, is indicated for use as an adjunct to fusion via a lateral or 	6.5mm x (25/30/35/40/45/50/55/60/65mm)

anterolateral surgical approach, above the bifurcation of the great

vessels, in the treatment of thoracic and thoracolumbar (T1-L5) spine

instability, or via the anterior surgical approach, below the

bifurcation of the great vessels, in the treatment of lumbar and

lumbosacral (L1-S1) spine instability as a result of fracture (including

dislocation and subluxation), tumour, degenerative disc disease

(defined as back pain of discogenic origin with degeneration of the

disc confirmed by patient history and radiographic studies), scoliosis,

kyphosis, lordosis, spinal stenosis, or failed previous spine surgery.

NV035	XLP Lateral Plate	The XLP system, of which the XLP lateral plate is a component, is 	6/8/10/12/14/16mm

indicated for use via a lateral or anterolateral surgical approach, above

the bifurcation of the great vessels in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability or via the anterior surgical

approach, below the bifurcation of the great vessels, in the treatment

of lumbar and lumbosacral (L1-S1) spine instability as a result of

fracture (including dislocation and subluxation), tumour, degenerative

disc disease (defined as back pain of discogenic origin with

degeneration of the disc confirmed by patient history and

radiographic studies), scoliosis, kyphosis, lordosis, spinal stenosis,

or a failed previous spine surgery.

NV036	XLP bolt	The XLP system, of which the XLP bolt  is a component, is 	5.5mm x (25/30/35/40/45/50/55/60/65mm)

indicated for use via a lateral or anterolateral surgical approach, above	6.5mm x (25/30/35/40/45/50/55/60/65mm)

the bifurcation of the great vessels in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability or via the anterior surgical

approach, below the bifurcation of the great vessels, in the treatment

of lumbar and lumbosacral (L1-S1) spine instability as a result of

fracture (including dislocation and subluxation), tumour, degenerative

disc disease (defined as back pain of discogenic origin with

degeneration of the disc confirmed by patient history and

radiographic studies), scoliosis, kyphosis, lordosis, spinal stenosis,

or a failed previous spine surgery.

NV037	XLP Lock Nut	The XLP system, of which the XLP lock nut is a component, is 	One size

indicated for use via a lateral or anterolateral surgical approach, above

the bifurcation of the great vessels in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability or via the anterior surgical

approach, below the bifurcation of the great vessels, in the treatment

of lumbar and lumbosacral (L1-S1) spine instability as a result of

fracture (including dislocation and subluxation), tumour, degenerative

disc disease (defined as back pain of discogenic origin with

degeneration of the disc confirmed by patient history and

radiographic studies), scoliosis, kyphosis, lordosis, spinal stenosis,

or a failed previous spine surgery.

New Products for Prostheses List Report	Page 31 of 46

Billing 	Product 	Further Description	Size

NV038	Halo Plate	The Halo System, of which the Halo Plate is a component, is 	Lumbar Plate (32mm-46mm)

indicated for use via a lateral or anterolateral surgical approach above 	Sacral Plate (32mm-46mm)

the bifurcation of the great vessels in the treatment of thoracic and 	2-level Plate (76mm-100mm)

thoracolumbar (T1-L5) spine instability or via the anterior surgical

approach, below the bifurcation of the great vessels in the treatment

of lumbar and lumbosacral (L1-S1) spine instability as a result of

fracture (including dislocation and subluxation), tumour, degenerative

disc disease (defined as back pain of discogenic origin with

degeneration of the disc confirmed by patient history and

radiographic studies), scoliosis, kyphosis, lordosis, spinal stenosis,

or failed previous spine surgery.

NV039	Halo Bone Screw	The Halo System, of which the Halo bone screw  is a component, is 	5.5mm x (20/22/24/26/28/30/32/34mm)

indicated for use via a lateral or anterolateral surgical approach above 	6.5mm x (20/22/24/26/28/30/32/34mm)

the bifurcation of the great vessels in the treatment of thoracic and

thoracolumbar (T1-L5) spine instability or via the anterior surgical

approach, below the bifurcation of the great vessels in the treatment

of lumbar and lumbosacral (L1-S1) spine instability as a result of

fracture (including dislocation and subluxation), tumour, degenerative

disc disease (defined as back pain of discogenic origin with

degeneration of the disc confirmed by patient history and

radiographic studies), scoliosis, kyphosis, lordosis, spinal stenosis,

or failed previous spine surgery.

NV040	Helix Mini Plate	The Helix Mini System, of which the Helix Mini plate is a 	20mm-50mm (2mm increments)

component, is intended for anterior screw fixation of the cervical

spine. These implants have been designed to provide stabilisation as

an adjunct to cervical fusion. Indications for the use of this implant

system include degenerative disc disease defined as neck pain of

discogenic origin with the degeneration of the disc confirmed by

history and radiographic studies, spondylolisthesis, trauma, spinal

stenosis, deformity, tumor, pseudarthrosis or failed previous fusion.

NV041	Helix Mini bone screw	The Helix Mini system, of which the Helix Mini bone screw is a 	4.0mm x (11/13/15mm)

component, is intended for anterior screw fixation of the cervical 	4.5mm x (11/13/15mm)

spine. These implants have been designed to provide stabilisation as

an adjunct to cervical fusion. Indications for the use of this implant

system include degenerative disc disease defined as neck pain of

discogenic origin with the degeneration of the disc confirmed by

history and radiographic studies, spondylolisthesis, trauma, spinal

stenosis, deformity, tumor, pseudarthrosis or failed previous fusion.

NV042	Helix Plate	The Helix system, of which the Helix plate is a component, is 	56mm-90mm

intended for anterior screw fixation of the cervical spine. These

implants have been designed to provide stabilisation as an adjunct to

cervical fusion. Indications for the use of this implant system include

degenerative disc disease defined as neck pain of discogenic origin

with the degeneration of the disc confirmed by history and

radiographic studies, spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or failed previous fusion.

New Products for Prostheses List Report	Page 32 of 46

Billing 	Product 	Further Description	Size

NV043	Helix Plate	The Helix system, of which the Helix plate is a component, is 	20mm-54mm

intended for anterior screw fixation of the cervical spine.  These

implants have been designed to provide stabilisation as an adjunct to

cervical fusion. Indications for the use of this implant system include

degenerative disc disease defined as neck pain of discogenic origin

with the degeneration of the disc confirmed by history and

radiographic studies, spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or failed previous fusion.

NV044	Helix Bone Screw	The Helix system, of which the Helix bone screw is a component, is 	4.0mm x (11/13/15/17/19mm)

intended for anterior screw fixation  of the cervical spine. These 	4.5mm x (13/15/17/19mm)

implants have been designed to provide stabilisation as an adjunct to

cervical fusion. Indications for the use of this implant system include

degenerative disc disease defined as neck pain of discogenic origin

with the degeneration of the disc confirmed by history and

radiographic studies, spondylolisthesis, trauma, spinal stenosis,

deformity, tumor, pseudarthrosis or failed previous fusion.

Olympus Australia

Ear, Nose & Throat

OL012	Canal Wall Prosthesis	Grote, HA	Small - Large

OL013	Ossicular Prosthesis Malleus, Incus and Stapes	Goldenberg Footplate - HA	One size only

OL014	Ossicular Prosthesis	Attic Defect Plate, HA	7-14mm

OL015	Ossicular Prosthesis Incus 	a) Applebaum HA,  b) Goldenberg HA,  c) Kartusch HA , d) Grote 	a) small - large, b) one size only, c) short, medium, long, d) 7-10mm,

HA, e) Wehrs (single & double notched) HA	e) short, average, medium, long

OL016	Ossicular Prosthesis - PORP	Sheehy plastipore, Drum to stapes, Grote Malleus to stapes, 	One size only

modified, centered or offcentered

OL017	Ossicular Prosthesis - PORP/TORP	Goldenberg Malleable/HA	One Size Only

OL018	Piston: Stapes Prosthesis	a) Schuknecht Malleus att Piston. Stainless steel, b) Cawthorne. 	a) 0.6x5.5mm-0.8x6.5, b) 0.3x0.8x3.5-0.3x0.8x6mm, c) 0.6x0.6x3.5-

Fluoroplastic, c) Fluoroplastic, d) Schuknecht. Stainless steel, e) 	0.8x0.6x6mm, d) 0.4x3.5-0.5x5mm, e) one size only

Causse.  Fluoroplastic

OL019	Ossicular Prosthesis -TORP 	a) black spanner strut HA, b) black oval top TORP HA, c) black oval	a) one size only, b) 7-10mm, c) 0.5-0.7mm

top PORP, universal, HA/fluoroplastic

OL020	Ossicular Prosthesis -TORP 	Fisch plastipore, Causse modified plastipore, Shea modified 	One size only

plastipore/ fluoroplastic, Austin modified plastipore, Tilt top

OL021	Ossicular Prosthesis -TORP 	a) Shea malleable, HA/plastipore, b) Shea plastipore	a) one size only, b) 4-8mm

OL022	Piston: Stapes Prosthesis	a) Armstrong. Platinum, b) McGee. Stainless steel, c) Richards.  	a) 0.6x3.5-0.8x5mm, b) 0.6x3.25-0.8x5.5mm, c) 0.4x4-0.4x5mm

Teflon & platinum

OL023	Piston: Stapes Prosthesis	Fisch-Type Platinum or Stainless Steel	0.4mm  x 6mm

OL024	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3.5mm - 0.8x5mm

OL025	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3mm - 0.8x5.75mm

OL026	Septal Button	Plastipore	One size only

OL027	Ventilation Tube	Shepard grommet, fluoroplastic or silicon, vent tube w/wire. 	1.02 -1.14mm

OL028	Ventilation Tube	Shepard, fluoroplastic, w/Tab & wire	1.02 -1.14mm

OL029	Ventilation Tube	Shepard, Ultrasil Silicon & Blue Poly	1.02 - 1.14mm

New Products for Prostheses List Report	Page 33 of 46

Billing 	Product 	Further Description	Size

OL030	Ventilation Tube	T-Tube Richards Silicon, Soft Silicon, Ultrasil	1.14mm

OL031	Ventilation Tube	T-Tube Richards Modified Silicon & Ultrasil	1.32mm

OL032	Ventilation Tube	T-Tube Richards Modified Soft Silicon 	1.32mm

OL033	Ventilation Tube	Butterfly T-Tube Silicon & Ultrasil	Silicon - one size only. Ultrasil - one size only.

OL034	Ventilation Tube	Armstrong Beveled Grommet Ultrasil Silicon w/Tab	1.14mm

OL035	Ventilation Tube	Grommet - Sha Mini. Teflon	0.76mm

OL036	Ventilation Tube	Shah. Teflon, Silicon	5.1mm

OL037	Ventilation Tube	Shah. Teflon, Fluorplastic w/Wire	1.14mm

OL038	Ventilation Tube	Shah. Teflon, Fluorplastic without Wire	1.14mm

OL039	Ventilation Tube	Armstrong Beveled Plain End Fluoroplastic	One size only

OL040	Ventilation Tube	Armstrong Beveled Plain End Silcon	One size only

OL041	Ventilation Tube	Bobbin - Reuter Stainless Steel	1mm

OL042	Ventilation Tube	Bobbin - Reuter Stainless Steel	Without Wire 1.14-1.27mm, w/wire 1mm

OL043	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F Without Holes	1mm

OL044	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F Without Holes	1.14mm

OL045	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F w/wire	1.14mm

OL046	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F	1.14mm

OL047	Ventilation Tube	Bobbin - Reuter Fluoroplastic 0.5mm I.F	1.27mm

OL048	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27mm

OL049	Ventilation Tube	Collar Bobbin Fluoroplastic 	0.75mm

OL050	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.14mm

OL051	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27x0.5mm

OL052	Ventilation Tube	Collar Button Ultrasil Silicon	1.27mm

OL053	Ventilation Tube	Collar Button Fluoroplastic Blue	1.27mm

OL054	Ventilation Tube	Collar Button Fluoroplastic w/Wire	1.27mm

OL055	Ventilation Tube	Collar Button Silicon	1.27mm

OL056	Ventilation Tube	Collar Button Titanium	1.14mm

OL057	Ventilation Tube	Collar Button Titanium	1.27mm

OL058	Ventilation Tube	Donaldson Silicon	1.14mm

OL059	Ventilation Tube	Donaldson Soft Silicon	1.14mm

OL060	Ventilation Tube	Donaldson Silicon w/Tab	1.14mm

OL061	Ventilation Tube	Donaldson Fluoroplastic	1.14mm

OL062	Ventilation Tube	Donaldson Ultrasil Silicon	1.14mm

OL063	Ventilation Tube	Duravent Silicon	1.27mm

OL064	Ventilation Tube	Duravent Blue Ultrasil	1.27mm

New Products for Prostheses List Report	Page 34 of 46

Billing 	Product 	Further Description	Size

OL065	Ventilation Tube	Paparella w/tab Fluoroplastic, Silicon, Soft Silicon, Ultrasil	1.02 - 2.03mm

OL066	Ventilation Tube	Shea  w/Tab - Silicone	0.76mm

OL067	Ventilation Tube	Shea Parasol w/Tab Small Flange - Silicone	1.02mm

OL068	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.02mm

OL069	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.52mm

OL070	Ventilation Tube	Straight Fluoroplastic or Polyethylene 	0.89 x 12mm, 0.86 x 7mm, 1.14 x 12mm, 1.14 x 7mm

OL071	Vocal Cord Medialisation Implant	Vocom Larynx Medial Implant - Hydroxylapatite	3 - 7mm Head

OL072	Vocal Cord Medialisation Implant	Vocom Shim for Medial Implant - Hydroxylapatite	1mm - 3mm Offset

OL073	Dornhoffer Prostheses	Hydroxyapetite head/HAPEX shaft PORP and TORP	0.8mm Shaft Dia TORP, 1.3mm Shaft Diameter PORP

OL074	Ossicular Chain Prosthesis	Micron adjustable TORP/PORP. Titanium	2-10mm, 2-5mm

OL075	Piston: Stapes Prosthesis	Smart: Nitinol/Flouroplastic	0.5, 0.6, 0.8 x 3.75-4.75mm

General Miscellaneous

OL011	X-Suit NIR Biliary Metal Stent	The Medinol X-Suit® Biliary Metallic Stent consists of a self-	8 or 10mm diameter - 40, 60, 80 or 100 mm length, 7.5F

expanding noncovered Nitinol stent integrated into a delivery system.

Orthopaedic Solutions Pty Ltd

Specialist Orthopaedic

OE015	NexFix 4.5MM Compression Screw	The NexFix Compression Screw is a stainless steel, cannulated, self 	4.5mm diameter x 14-40mm in 2mm increments, 40-65mm in 5mm

tapping, and self drilling fixation device for osteotomies, fusions and 	increments, with short and long thread options

fracture fixation of small bones

OE016	NexFix 3.0mm Compression Screw	The NexFix Compression Screw is a stainless steel, cannulated, self 	3.0mm diameter x 10 - 34mm length in 2mm increments

tapping, and self drilling fixation device for osteotomies, fusions and

fracture fixation of small bones

OE017	NexFix 2.5mm Compression Screw	The NexFix Compression Screw is a stainless steel, cannulated, self 	2.5mm diameter x 10 - 34mm length in 2mm increments

tapping, and self drilling fixation device for osteotomies, fusions and

fracture fixation of small bones

OE018	NexFix 6.5mm Compression Screw	The NexFix Compression Screw is a stainless steel, cannulated, self 	6.5mm diameter x 40-120mm in 5mm increments with short and long

tapping, and self drilling fixation device for osteotomies, fusions and 	thread options

fracture fixation of small bones

OE019	NexFix Washer	The NexFix Washer is a threaded circular piece of stainless steel 	9mm, 11mm, 13mm

through which is inserted a NexFix Compression Screw. The

Compression Screw is locked to the washer to form a headed screw

that will increase bone coverage and prevent the screw from sinking

into osteopenic bone.

OE020	NexFix Compression Pin	The NexFix Compression Pin is a tapered stainless steel compression	2.0mm x 10mm, 2.0mm x 12mm, 2.0mm x 14mm, 2.0mm x 16mm,

pin for use in maintaining alignment and providing interfragmentary 	2.7mm x 20mm, 2.7mm x 24mm, 3.5mm x 25mm, 3.5mm x 30mm

compression of small bones in osteotomies, fusions and fractures

until a stable bony union occurs. It is self drilling for ease of insertion

and is designed with a variable pitch and buttress thread to provide

greater compression.

New Products for Prostheses List Report	Page 35 of 46

Billing 	Product 	Further Description	Size

OE021	Activa Pin	The Activa pin is a bioreabsorbable grooved pin device for fixation of	1.5mm x 50mm, 2.0mm x 50mm

bone fractures, osteotomies, arthrodeses, and osteochondral

fractures. They are designed to maintain structural function for up to

8 weeks and to completely resorb within 2 years, eliminating the

need for implant removal.

OE022	Activa Screw	The Activa Screw is a bioresorbable device that maintains accurate 	2.7mm x 10, 12 , 14 , 16, 20 & 24mm

alignment of bone fractures, osteotomies, arthrodeses, bone grafts and

osteochondral fractures after surgical procedure. The Activa Screw

possess' rigidity similar to bone which decreases during the healing

process, transferring the load gradually to the bone. The fixation

material decomposes and the site of implantation is replaced with

new bone.

OE023	NexFix Compression Staples	The NexFix Compression Staples are made of stainless steel and are 	10 mm in width, leg length varies 13 mm - 20 mm

used for internal fixation of fractures, fusions, bone grafts and

osteotomies in the bones of the hand and foot. It is designed so the

surgeon can control the amount of compression they are applying

across the osteotomy/fracture site. Once compressed the surgeon can

also reduce the amount of compression applied with the specialised

clamp provided. This does not affect the final stability of the implant

but allows for greater control at the time of surgery.

OE024	NexFix Closing Wedge Osteotomy Staples	The NexFix Closing wedge osteotomy staples are made of stainless 	8mm x 90 deg, 8mm x 64 deg

steel and are intended to be used for internal fixation of fusions, bone

grafts and osteotomies in the bones of the hand and foot following

alignment correction

OE025	NexFix Snap-Off Screw	The NexFix Snap-Off Screw System is a self-drilling and self-tapping	2.0mm x 11mm, 2.0mm x 12mm, 2.0mm x 13mm, 2.7mm x 13mm,

screw system for fixation of fractures, fusions and osteotomies. The 	2.7mm x 15mm, 2.7mm x 17 mm

design allows the holding device to break off once the screw head is in

contact with the distal cortex.

OE026	Nexa Wires/Pins	The Nexa Wires are made of stainless steel and of different lengths 	0.9 - 2.5mm x 100 - 250mm

depending on the instrument set. They are used as guides during the

surgery before implantation of the final screw or implant. The Nexa

Wires are also designed to be used separately, if required by the

surgeon, and implanted into the patient.

Orthotech Pty Ltd

Specialist Orthopaedic

OH366	Kryptonite	Osteoconductive Adhesive	3cc sterile kit with syringe

OH367	Kryptonite	Osteoconductive Adhesive	10cc sterile kit with syringe

OH368	Kryptonite	Radiopaque	3cc sterile kit with syringe with barium

OH369	Kryptonite	Radiopaque	10cc sterile kit with syringe with barium

OH370	Otis Plate	Left & Right plate	1 size

OH371	Otis Plate Screws	Screw for plate	27-70mm

OH372	Otis Wedge	Wedge for tibial osteotomy	6-15mm

OH373	GeneX	GeneX paste	10cc

OH374	GeneX	GeneX paste	5cc

New Products for Prostheses List Report	Page 36 of 46

Billing 	Product 	Further Description	Size

OH375	GeneX	GeneX putty	10cc

OH376	GeneX	GeneX putty	5cc

OH377	GeneX	GeneX putty	2.5cc

Pacing Importers Pty Ltd - Life Systems

Ear, Nose & Throat

PI018	Sonata TI with FLEX EAS electrode	Cochlear Implant with atraumatic electrode specifically designed for 	One size

partial deafness & hearing preservation surgery

PI019	DUET 2	Audio Processor for Electric and Acoustic Stimulation (2nd 	50.6mm x 8.5mm x 59.7mm

Generation EAS)

Reid Healthcare

Cardio-thoracic

RH002	Kalangos Mitral Ring	KALANGOS Mitral Ring is intended for heart valve repair. Each 	Diameter 16mm - 36mm, Height 10.62mm - 24.61mm Thickness

device is characterized by a resorbable polymeric curved segment, 	1.3mm - 1.5mm

processed in poly-1,4-dioxanone, moulded around a PVDF suture

itself ended by swaged stainless steel needles. These three

constituents are assembled in such a way that they cannot be shared

or dismounted after assembly without irremediably destroying the

device. For these reasons, KALANGOS Mitral Ring should be

considered as a single device. Each extremity of the polymeric

segment is terminated by a sharp end prolonged by the PVDF suture

with a swaged stainless steel needle on both sides.

RH003	Kalangos Tricuspid Ring	KALANGOS Tricuspid Ring is intended for heart valve repair. Each 	TRK16 5.10 Radius 1 (mm) 9.31 Radius 2 (mm) 3.1 Radius 3 (mm)

device is characterized by a resorbable polymeric curved segment, 	5.44 Height (mm) 1.30 Thickness (mm)

processed in poly-1,4-dioxanone, moulded around a PVDF suture 	TRK18 6.1 Radius 1 (mm) 10.44 Radius 2 (mm) 4.1 Radius 3 (mm)

itself ended by swaged stainless steel needles. These three 	7.98 Height (mm) 1.30 Thickness (mm)

constituents are assembled in such a way that they cannot be shared 	TRK20 7.1 Radius 1 (mm) 8.92 Radius 2 (mm) 5.1 Radius 3 (mm)

or dismounted after assembly without irremediably destroying the 	8.96 Height (mm) 1.30 Thickness (mm)

device. For these reasons, KALANGOS Tricuspid Ring should be 	TRK22 8.1 Radius 1 (mm) 9.27 Radius 2 (mm) 6.1 Radius 3 (mm)

considered as a single device. Each extremity of the polymeric 	10.05 Height (mm) 1.30 Thickness (mm)

segment is terminated by a sharp end prolonged by the PVDF suture 	TRK24 9.1 Radius 1 (mm) 11.21 Radius 2 (mm) 7.1 Radius 3 (mm)

with a swaged stainless steel needle on both sides.	10.97 Height (mm) 1.30 Thickness (mm)

TRK26 10 Radius 1 (mm) 11.21 Radius 2 (mm) 8 Radius 3 (mm)

10.37 Height (mm) 1.50 Thickness (mm)

TRK28 10.5 Radius 1 (mm) 16.71 Radius 2 (mm) 9 Radius 3 (mm)

11.02 Height (mm) 1.50 Thickness (mm)

TRK30 12 Radius 1 (mm) 11.9 Radius 2 (mm) 10 Radius 3 (mm)

12.83 Height (mm) 1.50 Thickness (mm)

TRK32 13 Radius 1 (mm) 15.45 Radius 2 (mm) 11 Radius 3 (mm)

13.15 Height (mm) 1.50 Thickness (mm)

TRK34 14 Radius 1 (mm) 16.25 Radius 2 (mm) 12 Radius 3 (mm)

13.5 Height (mm) 1.50 Thickness (mm)

TRK36 15 Radius 1 (mm) 15.85 Radius 2 (mm) 13 Radius 3 (mm)

16.09 Height (mm) 1.50 Thickness (mm)

New Products for Prostheses List Report	Page 37 of 46

Billing 	Product 	Further Description	Size

Scient'x Australia

Neurosurgical

SX031	Isobar TTL Polyaxial Screw	In Module Polyaxial Pedicle Screw	Diameter 4.5mm; 5.5mm; 6.2mm; 7mm - Length 25mm; 30mm;

35mm; 40mm; 45mm; 50mm; 55mm

SX032	Isobar TTL Monoaxial Screw	In Module Monoaxial Pedicle Screw	Diameter 4.5mm; 5.5mm; 6.2mm; 7mm - Length 25mm; 30mm;

35mm; 40mm; 45mm; 50mm; 55mm

SX033	Olys	PEEK TLIF Cage	Length 28mm, 35mm: Height 7mm, 9mm, 11mm, 13mm

SX034	Isobar TTL Inner nut	Inner Locking Nut	One size only

SX035	TeCorp Vertebral Body Replacement System	TeCorp Cervical	All sizes

SX036	TeCorp Vertebral Body Replacement System	TeCorp Thoracic	All sizes

SX037	TeCorp Vertebral Body Replacement System	TeCorp Lumbar	All sizes

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SM171	MIS Stem	Short, tapered, uncemented "press fit" femoral stem with modular 	Size 1-9 (73mm -101mm)

neck functionality

SM174	Verilast CR Insert	Cruciate Retaining Tibial Insert	Sizes 1-8 9mm to 15mm

SM175	Verilast PS Insert	Posterior Stabilized Tibial Insert	Size 1-8 9mm to 15mm

Specialist Orthopaedic

SM169	PROMOS Modular Shoulder System	PROMOS Modular Shoulder System Cemented Humeral Stem	8x80mm, 8x120mm, 10x80mm, 10x120mm, 12x80mm, 12x120mm,

14x80mm, 8x60mm, 10x160mm, 12x160mm

SM170	PROMOS Modular Shoulder System	PROMOS Modular Shoulder System Resurfacing Humeral Head	38-54mm

SM172	Peri-Loc	2.0mm Twist-Off Screw	2.0mm Twist-Off Screw 8mm, 2.0mm Twist-Off Screw 10mm,

2.0mm Twist-Off Screw 12mm, 2.0mm Twist-Off Screw 14mm,

2.0mm Twist-Off Screw 16mm, 2.0mm Twist-Off Screw 18mm

SM173	Peri-Loc	Headless Cannulated Screw	3.0mm Headless Cannulated Screw 8mm - 40mm

SM176	Biosure HA	An absorbable polymer interference screw for use in ligament/tendon 	6-12mm

reconstruction

SM177	RAPTORMITE 3.0 PK	An non-absorbable polymer (PEEK) suture anchor for use in 	3mm

ligament/tendon reconstruction

Sorin Group

Cardio-thoracic

SA143	ESPRIT SR	Single Chamber Permanent Pacemaker with Rate Response 	Dimensions: 37.4 x 41.5 x 6.1mm Weight : 19grams. Volume: 7.5 cm3

SA144	ESPRIT DR	Dual Chamber Permanent Pacemaker with Rate Response 	8cc, Weight: 20grams, Dimensions:41.2 x 41.5 x 6.1mm

SA145	PARADYM CRT-D 8750	Implantable Cardioverter Defibrillator with Cardiac 	34cc,  94 grams;  61.8 x 73.4 x 11mm

Resynchronisation therapy, High Energy

New Products for Prostheses List Report	Page 38 of 46

Billing 	Product 	Further Description	Size

St. Jude Medical Australia Pty Ltd

Cardio-thoracic

SJ192	Epic Flexfit	Triple-composite Bioprosthetic heart valve	Aortic Valves 21-29mm tissue annulus diameter, 14-20mm total

height. Mitral Valves 25-33mm tissue annulus diameter, 15-20mm

SJ193	Accent DR PM 2112	Dual Chamber Pacemaker	19g, 10.5cc

SJ194	Anthem PM3112 CRT Pacemaker	Cardiac Resynchronisation Therapy Pacemaker	21g, 11.5cc

SJ195	Attune Flexible Adjustable Annuloplasty Ring	Flexible annuloplasty ring	25mm - 35mm

SJ196	Accent DR RF PM2212	Dual chamber Pacemaker with RF telemetry	236, 12.8cc

SJ200	Accent SR RF PM1210	Single Chamber Pacemaker with RF telemetry	23g, 12.8cc

SJ201	Epic FlexFit Supra	Triple-composite Bioprosthetic heart valve for supra-annular 	Tissue Annulus Diameter - 19mm-23mm. Total Height 14mm-16mm.

placement in the aortic position

SJ205	Accent SR PM 1110	Single Chamber Rate Responsive Pacemaker	18g, 9.5cc

SJ207	Anthem RF PM3212	CRT Pacemaker with RF telemetry	25g, 13.7cc

SJ208	Quick Flex µ 1258T	4F Bipolar Left Ventricular Pacing Lead	75cm, 86cm, 92cm

SJ212	AnalyST Accel VR CD1219-30	Single chamber cardioverter defibrillator with RF telemetry and ST 	73g, 37cc

segment monitoring

SJ213	Current Accel VR RF CD1215-30	Single chamber cardioverter defibrillator with RF telemetry	73g, 37cc

SJ214	Current Accel DR RF CD2215-30	Dual chamber cardioverter defribillator with RF telemetry	74g, 38cc

SJ215	AnalyST DR CD2217-30	Dual chamber cardioverter defribillator with RF telemetry and ST 	74g, 38cc

segment monitoring

SJ216	AnalyST VR CD1217-30	Single chamber cardioverter defibrillator with RF telemetry and ST 	73g, 37cc

segment monitoring

SJ217	AnalyST Accel DR CD2219-30	Dual Chamber cardioverter defibrillator with RF telemetry and ST 	74g, 38cc

segment monitoring

Neurosurgical

SJ197	Libra Deep Brain Stimulation System - Libra IPG - 6608	Implantable pulse generator for deep brain stimulation - 8 channel	50mm x 54mm x 14mm

SJ198	MicroTargeting Electrodes	Microtargeting mono- and bipolar- electrodes	100-300mm

SJ199	Guardian Burr Hole Cover System	Cranial Burr Hole Cover	14 - 17mm outer diameter

SJ202	Brio DBS Implantable Pulse Generator 6788	Dual Channel 16 Contact rechargeable IPG	29g, 17cc

SJ203	Brio DBS Charging System 6721	Charging System Model 6721	One size only

SJ204	Brio DBS Patient Controller 6856	Patient Controller for DBS	One size only

SJ206	Libra XP DBS IPG 6644	Implantable pulse generation for deep brain stimulation - Dual 4 	76mm x 58mm x 14mm

SJ209	Eon Mini Neurostimulation System - Charging System Model 3721	Charging System Model 3721	One size only

SJ210	Eon C IPG 3688	16 channel non-rechargeable multi-program implantable pulse 	49cc

SJ211	Eon Neurostimulation System - Mobile Charging System 3711	Mobile Charging System	One size

Vascular

SJ219	Intergard W – Woven straight	Woven straight	6-8mm, 30cm

New Products for Prostheses List Report	Page 39 of 46

Billing 	Product 	Further Description	Size

SJ220	Intergard W – Woven Straight	Woven Straight	10-34mm, 15-30cm

SJ221	Intergard W – Woven Straight	Woven Straight	10-32mm, 60-70cm

SJ222	Intergard K Knitted Straight	Knitted straight	20-40cm, 10-24mm

SJ223	Intergard K Knitted straight	Knitted straight	10mm 70cm

SJ224	InterGard Knitted Ultrathin	Straight	6-8mm X 40cm

SJ225	InterGard Knitted Ultrathin	Straight	6-8mm X 70cm

SJ226	Interflow UltraThin	ePTFE vascular graft	6-8mm X 40cm

SJ227	Interflow UltraThin	ePTFE vascular graft	6-8mm X 80cm

SJ228	Interflow Ultrathin Radially Supported	ePTFE vascular graft with radial support	6-8mm X 40cm

SJ229	Interflow Ultrathin Radially Supported	ePTFE vascular graft with radial support	6-8mm X 80cm

Vascular CAG

SJ218	FemoSeal Vascular Closure System	Haemostatic Puncture Closure Device	One Size

Stryker Australia Pty Ltd

Orthopaedic

SK505	BioPrep Bone Preparation System	Femoral Preparation Kit with cement restrictor	18.5 - 25mm O.D.

Surgical Specialties

Specialist Orthopaedic

SQ044	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - Biocompatible Nitonol	Large wire 2.0-3.0 - Sizes 20x20x20, 22x25x22, 30x30x30, 12x15x12

SQ045	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - Biocompatible Nitonol	Small wire 1.2-1.5 - Sizes 5x7x5, 7x9x7, 8x11x8, 10x11x10, 10x13x10,

12x15x12, 15x15x15, 18x15x18, 15x20x15, 18x20x18

SQ046	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - Asymmetric Staples - 	Asymmetric - 11x15x13, 11x17x15, 11x17x19 &18x18x15

Biocompatible Nitonol Construction

SQ047	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Plate Staple - Biocompatible 	Plate Staple - 15x6, 15x8, 15x10

Nitonol Construction

SQ048	Calcaneal Step OSStaple	Dynamic Compression Implant, Calcaneal Step OSStaple, Nitinol 	2mm, 4mm, 6mm 9mm & 12mm offsets

Memory Alloy

Surgiplas Medical

Plastic and Reconstructive

SP114	Nagor Breast Implants	Silicone Firm and Stable Gel Breast Implants	150 - 620cc

Synthes Australia Pty Ltd

Neurosurgical

SY548	Pangea Spinal System	Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar and Sacral 	Diameter, 4.0mm to 10mm, Length, 20mm to 120mm

Spine

SY549	Pangea Spinal System	Preassembled Monoaxial Pedicle Screw - Thoracic, Lumbar and Sacral	Diameter, 4.0mm to 10mm, Length, 20mm to 120mm

Spine

New Products for Prostheses List Report	Page 40 of 46

Billing 	Product 	Further Description	Size

Plastic and Reconstructive

SY544	PolyMax Rapid-Resorbable Fixation System	Mesh Plate	Mesh for bone fixation, CMF, 0.5-0.8mm thick, 11-25cm2

SY545	PolyMax Rapid-Resorbable Fixation System	Mesh Plate	Mesh for bone fixation, CMF, >0.8mm thick,11-25cm2

SY546	PolyMax Rapid-Resorbable Fixation System	Mesh Plate	Mesh for bone fixation, CMF, 0.5-0.8mm thick, 51-100cm2 area

SY547	PolyMax Rapid-Resorbable Fixation System	Mesh Plate	Mesh for bone fixation, CMF, >0.8mm thick, 51-100cm2 area

SY550	Titanium Sternal Fixation System	Locking Plate - Star	Star: 6 holes

SY551	Titanium Sternal Fixation System	Locking Plate - Straight , H or Star	Straight: 12holes, H: small & large, Star: 12 holes

Specialist Orthopaedic

SY521	LCP Plate	Distal Fibula Plate; Lateral, Posterolateral	2.7mm/3.5mm; 73mm-233mm Length, 3-15 holes

Tag Medical

Cardio-thoracic

TM040	Repel - CV	Bioresorbable Adhesion Barrier	18cmx13.5cmx137 microns

General Miscellaneous

TM044	TissuePatch3	Synthetic Self-Adhesive Surgical Sealant Film	50mm x 25mm

TM045	TissuePatch3	Synthetic Self-Adhesive Surgical Sealant Film	50mm x 50mm

TM046	TissuePatch3	Synthetic Self-Adhesive Surgical Sealant Film	50mm x 100mm

TM047	PerClot Standard	PerClot Polysaccharide Hemostatic System	1 gram

TM048	PerClot Standard	PerClot Polysaccharide Hemostatic System	3 gram

TM049	Anastoclips	Vessel Closure System (VCS)	Small, Medium, Large, Extra Large

Neurosurgical

TM041	TissuePatchDural	Synthetic Self-Adhesive Barrier to Cerebrospinal Fluid Leaks	50mm x 100mm

TM042	TissuePatchDural	Synthetic Self-Adhesive Barrier to Cerebrospinal Fluid Leaks	50mm x 50mm

TM043	TissuePatchDural	Aynthetic Self-Adhesive Barrier to Cerebrospinal Fluid Leaks	50mm x 25mm

Terumo Corporation Australia

Vascular

TU042	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Koper Knitted	6-15mm x 5-7.5cm

TU043	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Koper Knitted	10-15mm x 7.5-10cm

TFS Manufacturing Pty Ltd

Urogenital

TF001	TFS Tissue Fixation System	TFS Tissue Fixation System	One Size Only

New Products for Prostheses List Report	Page 41 of 46

Billing 	Product 	Further Description	Size

Tornier Pty Ltd

Specialist Orthopaedic

TO050	Aequalis Humeral Nail	Intermedullary Humeral Nail, straight, cannulated, Ti	Right/Left

TO051	Aequalis Humeral Nail Screws	Screws for Aequalis Humeral Head. Cannulated Proximal screws: 	Proximal Screws length: From 36 to 60 every 4mm Distal Screws

5mm Diameter cannulated Ti, PE insert with thread inside. Distal 	length: From 20 to 32 every 2mm

screws 4.5mm Diameter, Ti.

TO052	Piton Knotless Fixation Implant System	System includes Piton Knotless anchors (single) NiTi and two Force 	Anchor: one size. Suture: size 2 in the system, options: blue/white or

Fiber sutures size #2 UHMWPE	 black/white

TO053	Insite™ Polymer Suture Anchors	Polymer suture anchor pre loaded with 2 Force Fiber Sutures	3mm, 5mm or 6.5mm

TO054	Insite™ Titanium Suture Anchors	Titanium suture anchor pre loaded with 2 Force Fiber® Sutures	3mm, 5mm or 6.5mm

W L Gore & Associates

General Miscellaneous

GT229	GORE INFINIT Mesh	Gore Infinit Mesh	6.5cm x 13cm

GT230	GORE INFINIT Mesh	Gore Infinit Mesh	15cm x 15cm

GT231	GORE INFINIT Mesh	Gore Infinit Mesh	7.5cm x 15cm; 10cm x 15cm; 5cm x 30cm

Neurosurgical

GT232	Gore Preclude® Vessel Guard	Gore Preclude® Vessel Guard is an ePTFE Membrane with a tight 	6cm x 10cm

microstructure providing a vessel friendly interface while preventing

penetration of fibroblasts.  It is indicated as a cover for vessels

following anterior vertebral surgery to reduce the risk of potential

vessel damage during a revision surgery by providing a plane of

GT233	Gore Preclude® Vessel Guard	Gore Preclude® Vessel Guard is an ePTFE Membrane with a tight 	5cm x 6cm

microstructure providing a vessel friendly interface while preventing

penetration of fibroblasts. It is indicated as a cover for vessels

following anterior vertebral surgery to reduce the risk of potential

vessel damage during a revision surgery by providing a plane of

Vascular

GT234	Gore-Tex Stretch Propaten with Removable Rings Vascular Graft	Stretch Thin Walled (ePTFE), Heparin Bonded, Graft with 	6mm diameter, 70cm length, 60cm ringed section

Removable Rings

GT235	Gore-Tex Propaten Vascular Graft	Stretch (ePTFE), Heparin Bonded, Graft	8mm diameter, 40cm length

GT236	Gore-Tex Vascular Graft	Standard Wall Grafts (ePTFE)	10mm diameter, 70-80cm length

GT237	Gore-Tex Vascular Graft	Standard Wal Grafts(ePTFE)	5mm-8mm diameter, 70-80cm length

GT238	Gore-Tex Vascular Graft	Standard Wal Grafts (ePTFE)	10mm diameter, 90-100cm length

GT239	Gore-Tex Vascular Graft	Standard Wall Grafts (ePTFE)	5-8mm diameter, 90-100cm length

GT240	Gore-Tex Vascular Graft	Stretch Standard Wall Graft (ePTFE)	10mm x 40cm

GT241	Gore-Tex Vascular Graft	Stretch Standard Wall Graft (ePTFE)	6 & 8mm x 40cm

GT242	Gore-Tex Stretch Standard Walled Vascular Graft	Stretch Standard Wall Graft (ePTFE)	10mm diameter, 80cm length

GT243	Gore-Tex Stretch Standard Walled Vascular Graft	Stretch Standard Walled Graft (ePTFE)	6-8mm diameter, 80cm length

New Products for Prostheses List Report	Page 42 of 46

Billing 	Product 	Further Description	Size

GT244	Gore-Tex Stretch Thin Walled Vascular Graft	Thin Wall Graft Stretch (ePTFE)	10mm diameter, 70cm length

GT245	Gore-Tex Stretch Thin Walled Vascular Graft	Thin Wall Graft Stretch (ePTFE)	6-8mm diameter, 70cm length

GT246	Gore-Tex Stretch Thin Walled Vascular Graft	Thin Wall Graft Stretch (ePTFE)	10mm diameter, 80cm length

GT247	Gore-Tex Vascular Graft	Thin Wall Graft Stretch (ePTFE)	6-8mm diameter, 80cm length

GT248	Gore-Tex Vascular Graft	Thin Wall Grafts (ePTFE)	10mm diameter, 80cm length

GT249	Gore-Tex Vascular Graft	Thin Wall Grafts (ePTFE)	4-8mm diameter, 80cm length

GT250	10mm Thin Walled Vascular Graft	Thin Walled Graft (ePTFE)	10mm x 90-100cm

GT251	4-8mm Thin Walled Vascular Graft	Thin Walled Graft (ePTFE)	4-8mm x 90-100cm

GT252	Gore-Tex Stretch Removable Ringed Vascular Graft	Stretch Removable Ringed Thin Walled Graft (ePTFE)	8mm diameter, 40cm length, 30cm removable ringed section

GT253	Gore-Tex Stretch Removable Ringed Vascular Graft	Stretch Removable Ringed Thin Walled Graft (ePTFE)	8mm diameter, 40cm length, 30cm removable ringed section

GT254	Gore-Tex Stretch Propaten Vascular Graft	Stretch Thin Walled Graft, Removable Rings (ePTFE), Heparin 	6-8mm diameter, 80cm length, 60-70cm Ringed Section

GT255	Gore-Tex Stretch Propaten Vascular Graft	Stretch Thin Walled Graft, Removable Rings (ePTFE), Heparin 	8mm diameter, 40-50cm length, 30-40cm Ringed Section

William A Cook Australia Pty Ltd

Vascular

WC274	Zenith TX2 TAA Endovascular Graft with Pro-Form and the Z-Trak 	Thoracic Proximal Extension	Diameter - 22mm - 42mm Length - 77mm - 81mm

Plus Introduction System (thoracic body extension)

WC275	Zenith TX2 TAA Endovascular Graft with Pro_Form and the Z-Trak	Short Thoracic Proximal Graft	Diameter 22mm - 42mm. Length 115mm - 162mm

Plus Introduction System - Short Proximal Component

WC276	Zenith TX2 TAA Endovascular Graft with Pro-Form and the Z-Trak 	Long Thoracic Proximal Endovascular Graft	Diameter 28mm-42mm Length 197mm-216mm

Plus Introduction System - Long Proximal Component

WC277	Zenith Flex AAA Endovascular Graft with the Z-Trak Introduction 	Zenith Flex with Z-trak main body - AAA endovascular graft	Diameter - 22mm - 36mm. Length 82mm - 149mm.

System - main body

WC278	Zilver Vascular Stent with Rapid Exchange Delivery System	Zilver Stent Vascular Design, self-expandable nitinol stent. Preloaded 	Delivery System 5Fr, 125cm. Stent diameter 4mm-10mm. Stent

in a 5.0 French Rapid Exchange delivery catheter.	length 2cm-8cm.

WC279	Turbo-Ject Peripherally Inserted Central Catheter Set ( Single Lumen)	4/5 Fr Single Lumen Polyurethane PICC with Micropuncture Peel-	4 and 5 French, 60 cm catheter length, single lumen catheter

Away Sheath Introducer and Echogenic needle

WC280	Turbo-Ject Peripherally Inserted Central Catheter Set ( Double Lumen)	4/5 Fr Double Lumen Polyurethane PICC with Micropuncture Peel-	4 and 5 French, 60 cm Catheter length, double lumen catheter

Away Sheath Introducer and Echogenic needle

Wright Medical Australia

Orthopaedic

WR011	Osteoset BVF Kit	Kit contains calcium sulfate, diluent, mould, spatula and mixing bowl	25cc only

WR012	Osteoset	Calcium Sulphate	4.8mm pellets 10cc

WR013	Osteoset T Pellets	Calcium sulphate with tobramycin	20cc

WR014	OSTEOSET - BVT KIT (STANDARD CURE, FAST CURE)	Mini Bead Kit	5cc Standard/Fast Cure

WR015	Osteoset Pellets - Bone Graft Substitute	Calcium Sulphate	4.8mm Pellets 20cc

WR016	Osteoset Bone Void Filler	Calcium Sulphate	3mm & 4.8mm Pellets 5cc

WR017	Osteoset Bone Void Filler	Calcium Sulphate	3mm Syringe 1.25cc

New Products for Prostheses List Report	Page 43 of 46

Billing 	Product 	Further Description	Size

WR018	Osteoset Bone Void Filler	Calcium Sulphate	4.8mm Syringe 5cc

WR019	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler, Includes Syringe	5cc

WR020	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler, Includes Syringe	15cc

WR021	Osteoset T Pellets	Calcium sulphate with tobramycin	10cc

WR026	E-Centrix Ulnar Head Replacement	Ulnar Head	16 x 1.5mm Offset, 16 x 3.0mm Offset, 18 x 1.5mm Offset, 20 x

1.5Offset, 20 x 3.0mm Offset

WR039	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	7cc

WR040	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	15cc & 20cc

WR054	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm

WR059	Titanium Screw	Locking, non-locking or cannulated, for use only with Darco titanium 	8-40mm, 2.7mm or 3.5mm

plates, self-tapping

Specialist Orthopaedic

WR001	BioArch Subtalar Arthroereisis Implant	Conical, tapered, titanium implant with blunt thread design.	8, 9, 10, 11, 12mm

WR002	ProDense / Osteoset XR	Composite Injectable Bone Void Filler	4cc

WR003	ProDense / Osteoset XR	Composite Injectable Bone Void Filler	10cc

WR004	ProDense/Osteoset XR	Composite Injectable Bone Void Filler	20cc

WR005	ProDense / Osteoset	Composite Bone Void Filler - Pellets	2cc, 5cc

WR006	ProDense / Osteroset XR	Composite Bone Void Filler - Pellets	10cc

WR007	ProDense / Osteoset XR	Composite Bone Void Filler - Pellets	20cc

WR008	ProDense / Osteoset XR	Composite Bone Void Filler - Pellets, Injector	3.0mm, 1.25cc

WR009	ProDense / Osteoset XR	Composite Bone Void Filler - Pellets, Injector	4.8mm, 5cc

WR022	Evolve Modular Radial Head	Cobalt chromium alloy, standard and plus stems	Stem 4.5 - 9.5mm Standard, +2 & +4mm

WR023	WMT Orthopaedic Implants Radial/Ulna Head	Radial head implant HP silastic	1, 1.5, 2, 2.5, 3

WR024	WMT Orthopaedic Implants Radial/Ulna Head	Radial head titanium	1, 1.5, 2, 2.5, 3

WR025	Evolve Modular Radial Head	Cobalt chromium alloy head	Head 18-28mm Std, +2 and +4mm

WR027	E-Centrix Ulnar Head Replacement	Ulnar Stem	5.5 STD, 6.5 STD, 7.5 STD, 8.5 STD

WR028	E-Centrix Ulnar Head Replacement	Ulnar Stem Extender	20mm

WR029	Micronail intramedullary radial fixation	Titanium, Distal radial nail	1, 2, 3, 4 and XL

WR030	Evolve Locking Cancellous Bone Screws	The Evolve stainless steel locking screw	2.0mm x 14 - 28mm

WR031	Micronail intramedullary radial fixation	2.7mm Titanium Screw	10mm - 20mm

WR032	Micronail Intramedullary Radial Fixation	2.5mm ti buttress screw	16 - 28mm

WR033	Charlotte Foot & Ankle System	High demand compression screw, cannulated, stainless steel	6.5mm& 7.0mm dia, 40-110mm lengths in 5mm increments

WR034	Charlotte Foot & Ankle System	Multi use compression screw, cannulated, stainless steel	3.0 & 4.3mm dia. 10-60mm in 2mm increments

WR035	Charlotte Foot & Ankle System	Snap-off screws, titanium alloy	2.0 dia 11, 12, 14mm. 2.7 dia 13, 15, 17mm

New Products for Prostheses List Report	Page 44 of 46

Billing 	Product 	Further Description	Size

WR036	Charlotte Carolina Jones Fracture System	Low profile, solid-core, surgical grade stainless steel screw, partially 	4.5mm, 4.5mm, 6.5mm, 40mm-70mm overall screw lengths

threatded with thread length varying anthropometrically relative to

overall screw length, utilising specialised instruments for IM

placement in the 5th metatarsal

WR037	Charlotte Foot & Ankle System	Compression Staple, Stainless Steel	13, 15, 20, 25mm interaxis, leg lengths 11, 13, 15, 17, 20 & 25mm, 10

Sizes in Total

WR038	Charlotte Foot & Ankle System	Quick Staple, Stainless Steel	One Size Only

WR041	Orthosphere	Yttria-stabilized zirconia ceramic	9mm - 14mm

WR042	WMT Orthopaedic Implants Hand	Trapezium silastic	1, 2, 3, 4, 5

WR043	Wright Swanson Titanium Carpal Scaphoid, Carpal Lunate, Basal 	Titanium	1 - 5 left and right

Thumb Implant

WR044	WMT Orthopaedics Implants Hinge Toe and Hammertoe Implant	Silastic flexible hinge toe with/without grommets	0, 1, 2, 3, 4, 5, 6, 7

WR045	Wright Titanium Great Toe	Great toe titanium	0,1, 2, 3, 4

WR046	WMT Orthopaedic Implants Finger/Thumb	Silastic finger joint with/without Ti grommets 470 series	00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9

WR047	LPT Great Toe Implant	Titanium LPT Metatarsal Component available in Regular and 	Sizes 1, 2 & 3 Regular Great Toe Implants. Sizes 1 & 2 Angled Great

Angled Toe	 Toe Implants

WR048	Evolve Radial Head Plate	Evolve Radial Plate System Stainless Steel	32mm x 20 - 26mm in 2mm increments

WR049	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, small & standard

WR050	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, extended

WR051	Charlotte MTP Fusion System	MTP plate screw, stainless steel	2.7 & 3.2 dia. 8-24mm length in 2mm increments

WR052	Charlotte MTP Fusion System	MTP plate, stainless steel, SLIM LINE	Left & right

WR053	WMT Orthopaedic Implants Hand	Silastic tendon spacer	24in long, 3, 4, 5, 6mm wide

WR056	Locking Plate	Titanium locking plates anatomically contoured for forefoot and 	2.7mm; neutral, 3-7mm spacer; 18-24mm length, 3.5mm; neutral, 2-

midfoot osteotomies. Unique spacer widths in 1mm increments allow	8mm spacer; 12-30mm length

for controlled and maintained correction.

WR057	Lapidus Plate	Titanium locking plate with unique stepped displacement in 1mm 	3.5mm: neutral, 1-6mm step

increments permits accurate plantarisation and lateralisation in

midfoot fusions.

WR058	Calcaneus Plate	Titanium locking plate specifically designed to have low profile 	3.5mm universal sizing (R&L): S - 54mm, M - 64mm & L - 74mm

(1.5mm thick) for easy contouring

WR060	Ring washer	Screw Washers	2.7/3.7/4.0/4.5

WR061	Twist-off Screw	Unique feature of two thread diameters to suit variable bone quality, 	2.0mm diameter x 11-15mm, 2.5mm diameter x 11-15mm,

specifically designed for Weil-osteotomy, titanium, self drilling and

self tapping, twist-off connector

WR062	Scarf	Compression screw designed for forefoot reconstructions, 1.1mm 	3.2mm diameter x 10-32mm

cannulated, titanium, self tapping, self drilling, wide thread for

osteoporotic bone, long threadless section for high compression.

WR063	K Wire	Titanium or stainless steel, single or double trocar	0.9 - 2.0mm

WR064	MPJ Fusion Plate	Titanium locking plate with built-in 1- degree valgus angle for 	S, M, L

anatomic fixation of 1st MTP joint

WR065	Rearfoot Plate - RPS	Unique extended plate geometry for plating complex rearfoot 	6 hole - 37mm, 8 hole - 50mm, 14 hole - 66mm

reconstructions, uses 3.5mm locked screws for optimal bone

New Products for Prostheses List Report	Page 45 of 46

Billing 	Product 	Further Description	Size

WR066	Arthrodesis Flat Plate - AFP	Flat plate intended for use in isolated tarsal fusions, titanium locking 	12, 14 & 16mm length

plate, 2mm thickness

WR067	Displacement Plate - DPS	Unique steep plate design allows for controlled fixation of 	6, 8 & 10mm step

displacement calcaneal osteotomies. 3 step variations allows for

accurate corrections. 3.5mm Titanium locking plate

WR068	Cannulated Screw	Titanium cannulated screw intended for use in conjunction with a 	3.5mm diameter x 34, 36 & 38mm

plate for fixation of midfoot fusion

WR069	TOM Plate	Designed for base osteotomies and fusions of MT1 with correction 	L & R: neutral, 1-5mm step

achieved through one cut. It is a titanium locking plate, anatomically

designed with a smaller radius to fit the contour of the first metatarsal

and 5 step variation in 1mm increments for accurate correction.

Zimmer Pty Ltd

Specialist Orthopaedic

ZI709	Zimmer Natural Nail System	Cortical Nuts and Washers	Cortical Nut for the 6mm Cancellous Screw

ZI710	Zimmer Natural Nail System	Cephalomedullary Nail Caps - Titanium (Neutral, Sliding & Locking)	Height: 0mm, 5mm, 10mm & 15mm

ZI711	Zimmer Natural Nail System	Femoral Nail Caps (Titanium)	Height: 0mm, 5mm, 10mm & 15mm

ZI712	Zimmer Natural Nail System	Humeral Nail Caps (Titanium) Antegrade & Retrograde	Height: 0mm, 5mm, 10mm & 15mm (Antegrade), 0mm, 5mm, 10mm

(Retrograde)

ZI713	Zimmer Natural Nail System	Lag Screws, Titanium	10.5mm x 70 to 130mm in 5mm increments

ZI714	Zimmer Natural Nail System	Cortical Screws (Partially Threaded) Titanium	4.0mm & 530mm x 20mm to 60mm (2.5mm increments); 4.0mm &

5.0mm x 65 to 100 mm (5mm increments)

ZI715	Zimmer Natural Nail System	Cephalomedullary, Femoral Long Nails, Titanium	10mm to 14.5mm (in 1.5mm increments) x 30 to 48cm (in 2cm

increments) x 125 & 130 CCD Left and Right.

ZI716	Zimmer Natural Nail System	Antegrade Humeral Nail - Titanium	7, 8, 9 & 10mm x 15, 18, 19.5, 21, 22.5, 24, 25.5, 27, 28.5 & 30cm.

Left & Right.

ZI717	Zimmer Natural Nail System	Cancellous Screws Titanium - Partially Threaded & Fixed Angle	6.0mm x 50 to 145mm at 5mm increments

ZI718	Zimmer Natural Nail System	Cortical Screws - Fixed Angle (Fully Threaded) Titanium	4.0mm & 5.0mm x 20 to 60mm (2.5mm increments); 4.0mm &

5.0mm x 65 to 100mm (5mm increments)

ZI719	Zimmer Natural Nail System	Tibial Nails - Titanium	8.3mm; 9.3mm; 10mm; 11mm; 12mm; 14mm x 24 to 44cm in 2cm

increments

ZI720	Zimmer Natural Nail System	Tibial Nail Caps (Titanium)	Height: 0mm, 5mm, 10mm & 15mm

ZI721	Zimmer Natural Nail System	Retrograde Femoral Nail - Titanium	10mm to 13mm (in 1.5mm increments) x 20, 24, 28, 30, 32, 34, 36,

38, 40, 42, 44cm Universal.

ZI722	Zimmer Natural Nail System	Antegrade Femoral Nails, Greater Trochanter, Titanium	8 to 14mm x 24 to 48cm (in 2cm increments) Left and Right

ZI723	Zimmer Natural Nail System	Cephalomedullary, Short Nails, Titanium	10mm to 14.5mm (in 1.5mm increments) x 21.5cm 125 to 135 CCD

(in 5 CCD increments) Left and Right.

Grand Total:	822 Records

New Products for Prostheses List Report	Page 46 of 46