Changed Items for Prostheses List

Billing Code	Product Name	Further Description	Size	Explanation of Change

Abbott Australasia Pty Ltd

Cardio-thoracic

AY023	Xience V Everolimus Eluting Coronary Stent System	Everolimus Eluting Coronary Stent System	2.25mm to 4.0mm widths, 8mm to 28mm lengths	Changed Size.

General/Miscellaneous

AY002	Flexiflo inverta PEG kit Basic, Flexiflo inverta PEG kit 	Composition - biocompatible silicone tube.  Items 	20F	Changed Product Group, Product Sub-Group.

with snare	included in kit/product - Sliding retention disc, Insertion 	Amended benefit.

wire, Gastrostomy tube with attached Dilator Catheter,

seldinger needle 14g, magna port connector, scalpel,

Snare (in kit with snare)

AY005	Flexiflo balloon gastrostomy tube	Composition - biocompatible silicone.  Items included 	16 french, 18 french, 20 french	Changed Product Group, Product Sub-Group.

in kit/product - sliding retention disc and opened edged 	Amended benefit.

feeding port

Vascular

AY007	Jostent SelfX Expanding Stent	Nitinol	Shaft length 15 - 180cm, stent length 32 - 92mm	Changed Product Sub-Group, Suffix.

AY008	Jostent Renal Premounted	Balloon expandable	Stent length 12 - 17mm, diameter 5 - 7 mm	Changed Product Sub-Group, Suffix.

AY010	JOStent Peripheral Stent Graft	Stainless Steel/PTFE	4 - 12 mm x 12 - 58m mm	Changed Product Sub-Group, Suffix.

AY015	Xact/ Xact Flex Carotid Stent	Nitinol Self-Expanding stent on rapid exchange 	Diameter 7-10mm Length 20 + 30mm Straight; 	Changed Product Sub-Group, Suffix.

delivery system	Diameter 8-6, 9-7, 10-8mm Length 20 + 30mm

AY016	Perclose Arterial Support and Closure System	Suture to close femoral artery puncture sites following 	Closer S - 6-8Fr, Perclose AT - 6-8Fr, Prostar 8Fr, 	Changed Product Sub-Group, Suffix.

diagnostic and interventional procedures	Prostar 10Fr

AY017	Starclose	6 Fr Exchange Sheath, Dilator, Guidewire, implantable	6 Fr	Changed Product Sub-Group, Suffix.

nitinol clip pre-mounted on a Clip Applier

AY018	Emboshield	Embolic Protection Device, including delivery system,	Filters 3, 4, 5, and 6mm, Large and Small.. Two wire 	Changed Product Sub-Group, Suffix.

device specific procedural wire, filter for capturing 	lengths: 190cm for Monorail systems and 315cm for

embolic matter and retrieval system	Over the Wire Systems

AY021	Nitinol Self Expanding Peripheral Stent	Nitinol	Diameter 3-10mm	Amended benefit.

GU071	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm length	Changed Product Sub-Group, Suffix.

Advanced Biomedical Pty Ltd

General/Miscellaneous

AB003	BioGlue Surgical Adhesive - 5ml Syringe System	Model No BG3515-5-A (BioGlue Surgical Adhesive)	One size only	Changed Product Name, Description, Product

Group, Product Sub-Group, Suffix.

Amended benefit.

AB004	BioGlue Surgical Adhesive - 10ml Syringe System	Model No BG3510-5-A (BioGlue Surgical Adhesive)	One size only	Changed Product Name, Description, Product

Group, Product Sub-Group, Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 1 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AB005	Bioglue Surgical Adhesive - 5ml Solutions Cartridge 5 	Model No BG 3005-5 (Bioglue Surgical Adhesive)	One size only	Changed Product Group, Product Sub-Group,

Per pack	Suffix.

Amended benefit.

AB007	Bioglue Surgical Adhesive - 10ml Solutions Cartridge 5	Model No BG 3010-5 (Bioglue Surgical Adhesive)	One size only	Changed Product Group, Product Sub-Group,

per pack	Suffix.

Amended benefit.

AB008	BioGlue Surgical Adhesive - Syringe Standard 	Model No BGAT-SY (BioGlue Surgical Adhesive)	One size only	Changed Product Name, Description, Product

Applicator Tip	Group, Product Sub-Group.

Amended benefit.

AB009	BioGlue Surgical Adhesive - Syringe Applicator Tip 	Model No BGAT-10-SY (BioGlue Surgical Adhesive)	One size only	Changed Product Name, Description, Product

Extender	Group, Product Sub-Group.

Amended benefit.

AB010	BioGlue Surgical Adhesive - Syringe Applicator Tip 	Model No BGAT-27-SY (BioGlue Surgical Adhesive)	One size only	Changed Product Name, Description, Product

Extender	Group, Product Sub-Group.

Amended benefit with $5.00 gap.

AB011	Bioglue Surgical Adhesive - 2ml Solutions Cartridge  5 	Model No BG3002-5 (Bioglue Surgical Adhesive)	One size only	Changed Product Group, Product Sub-Group.

per pack	Amended benefit.

AB012	Peri-Strips Dry	Model No PSD 4506-EN	One size only	Changed Product Group, Product Sub-Group.

Amended benefit with $22.00 gap.

AB013	Peri-Strips Dry	Model No PSD 6006-UN	One size only	Changed Product Group, Product Sub-Group.

Amended benefit with $22.00 gap.

AB018	Peri-Strips Dry	Model No PSD 4506-UN	One size only	Changed Product Group, Product Sub-Group.

Amended benefit with $22.00 gap.

AB020	Peri-Strips Dry	Model No PSD 8006-UN	One size only	Changed Product Group, Product Sub-Group.

Amended benefit with $22.00 gap.

AB065	BioGlue Surgical Adhesive - Syringe Rigid Applicator 	Model No BGAT-RT-SY (BioGlue Surgical Adhesive)	One size only	Changed Product Name, Description.

Tip 34cm

Advanced Medical Optics Australia Pty Ltd

Ophthalmic

AO001	Intraocular Lens: Model  AC 51B	Duralens  PMMA, Anterior Chamber IOL	6.00 mm Optic Diameter x 13.0mm in overall length	Changed Product Sub-Group, Suffix.

AO007	Viscoelastic Fluid: AMO Vitrax (sodium hyaluronate) 	Surgically Implanted Intraocular Viscoelastic 	0.65mL	Changed Product Group, Product Sub-Group,

30mg/mL, 0.65mL	Suffix.

AO008	Healon, Intraocular Viscoelastic Fluid	Sodium Hyaluronate 10mg/ml	Healon 0.4ml, 0.55ml & 0.85ml	Changed Product Group, Product Sub-Group,

Suffix.

AO009	Healon 5, Intraocular Viscoelastic Fluid	HEALON5- Sodium hyaluronate 23mg/ml .	0.6ml	Changed Product Group, Product Sub-Group,

Suffix.

AO010	Healon GV Intraocular Viscoelastic Fluid	Sodium Hyaluronate 14mg/mL	0.5mm and 0.85ml	Changed Product Group, Product Sub-Group,

Suffix.

AO011	Anterior Chamber IOL; Pharmacia Heparin Surface 	Anterior chamber heparin coated PMMA lenses 352C.	808C: +8.0 to +30.0 diopter increments  and 352C: - 	Changed Product Sub-Group, Suffix.

Modified AC IOL Model 352C	 Models 812C, 722C, 757C, 808C & 352C.	+8.0 to +30.0 diopter increments

AO012	Baerveldt Glaucoma Implant BG 101-350, Baerveldt 	Non-valved artificial drainage device, composition 	Surface area 250, 350, 425mm2	Changed Product Group, Product Sub-Group,

Glaucoma Implant BG 103-425, Baerveldt Glaucoma 	silicone - smooth, tumble-polished finish	Suffix.

Implant BG 103-250

Changed Items for Prostheses List Report	Page 2 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AO014	Tecnis TM Intraocular Lens	Foldable Intraocular Lenses - Ultraviolet light 	5-10 dioptre in 1.0 dioptre increments; 10.5 - 30 dioptre	Changed Product Sub-Group, Suffix.

absorbing posterior chamber intraocular lenses, 	 in 0.5 increments

Silicone/Acrylic

AO018	Verisyse AC IOL	Phakic Intraocular Lens: Model Toric	5mm Optic Diameter x 7.5 overall length	Changed Suffix.

Amended benefit.

AO021	Stabileyes Capsular Tension Ring	Polymethylmethacrylate (PMMA) Implant	12mm ring, and 13mm ring	Changed Product Group, Product Sub-Group.

AO022	Posterior Chamber IOL; Pharmacia Heparin Surface 	CeeOn Posterior chamber, heparin coated , PMMA 	812C:+8.0 to +40.0 diopter increments, 722C: +8.0 to 	Changed Product Sub-Group, Suffix.

Modified AC IOL Model 352C	lenses, One piece, biconvex. 812C, 722C, 757C, 808C 	+30.0 diopter increments, 757C: -10.0 to +7.0 diopter

CeeOn	increments

Advanced Surgical Design & Manufacture Ltd

Orthopaedic

AE012	ASDM Bone Screw	Titanium 	2.0 - 6.5mm dia, length 4-150mm	Changed Product Group, Product Sub-Group.

AE013	Shaft Screw, Pure 	Threaded Pin, Manufactured from pure Titanium	3.2 x 50 - 100mm, 4.0 x 70 - 110mm	Changed Product Group, Product Sub-Group.

AE036	Opening Wedge Tibial Ostectomy Plate	Titanium	6mm - 20mm	Changed Product Group, Product Sub-Group,

Suffix.

AE039	Active Knee Femoral Component 	Femoral Component, Cemented, CoCr 	Sizes 00 - 5 Left & Right	Changed Product Name, Description.

Amended benefit.

AE040	Active Knee Tibial Baseplate	Tibial baseplate, Cemented, CoCr	Sizes 1-5 	Changed Product Name, Description.

Amended benefit.

AE041	Active Knee Femoral Component 	Femoral Component, uncemented, distally beaded 	Sizes 00 -- 5 Left & Right	Changed Product Name, Description.

with HA  	Amended benefit.

AE042	Active Knee - Tibial bone screws 	Bone Screw Titanium TiN coated - Optional	20mm - 50mm	Changed Product Name, Description.

Amended benefit.

AE043	Active Knee Tibial Baseplate	Tibial baseplate, uncemented, beaded with HA, 	Sizes 1-5 	Changed Product Name, Description.

Titanium 	Amended benefit.

AE044	Active Knee Mobile Tibial Tray 	Tibial Tray, mobile,  Cemented, CoCr	Sizes 1-5	Changed Product Name, Description.

Amended benefit.

AE045	Active Knee Mobile Tibial Tray 	Tibial Tray, mobile,  uncemented, beaded, with HA, 	Sizes 1-5	Changed Product Name, Description.

CoCr	Amended benefit.

AE046	Active knee Tibial Insert  	Mobile insert, dished, UHMWPE 	Sizes 1 - 5 Thickness 6 - 9.5mm	Changed Product Name, Description.

Amended benefit.

AE047	Active Knee Tibial Insert	Tibial Insert, UHMWPE, ultra congruent 	Sizes 1 - 5 Thickness 6 - 17.5mm	Changed Product Name, Description, Product

Sub-Group.

Amended benefit.

AE049	Active Knee Tibial Insert	Tibial Insert, minimally stabilised, UHWMPE	Sizes 1 - 5 Thickness 6 - 15.5mm	Changed Product Name, Description.

Amended benefit.

AE050	Active Knee Patella	Patella, cemented, UHMWPE 	Sizes 1 - 5	Changed Product Name, Description.

Amended benefit.

AE052	ASDM K-wire	Stainless steel - sterile	Dia 0.7 - 2.5mm, length 100 - 230mm	Changed Product Group, Product Sub-Group.

AE068	ASDM Clavicle Compression System	Clavicle Compression PinTitanium Screw, Double 	3.2 & 4.0 mm x 50mm - 130mm	Changed Description, Product Group, Product

Threaded	Sub-Group, Suffix.

AE069	Threaded wires & pins	Threaded wires & pins	1.0-5.0mm diametersvarious threaded lengths	Changed Size, Product Group, Product Sub-

Group.

Changed Items for Prostheses List Report	Page 3 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AE070	ASDM Steinmann Pin	Steinmann Pin	2.8-5.0mm diameter	Changed Product Group, Product Sub-Group.

AE071	Active Knee Posterior  Block 	Posterior Femoral Block	1 - 5, 4 - 8mm	Changed Product Name.

Amended benefit.

AE072	Active Knee  Femoral Distal Spacer	Femoral Distal Block	1 - 5, 4 - 8mm	Changed Product Name, Description.

Amended benefit.

AE073	Active Knee Femoral Augments 	Combined Distal and Posterior Block,  CoCr	1-5,  4 - 8mm	Changed Product Name, Description.

Amended benefit.

AE074	Active Knee Revision System - Tibial Half Block 	Half Block Wedge	1-5, 5 - 10 Deg	Change.

Spacer	Amended benefit.

AE075	Active Knee Stems	Tibial and femoral stems for revision, varying lengths, 	11 - 13 Dia, 60 - 100mm	Changed Product Name, Description.

Titanium	Amended benefit with $342.00 gap.

AE076	Active Knee Tibial Full Block Wedge 	Tibial full block of full wedge, CoCr	1-5,  5 - 10 Deg	Changed Product Name, Description.

Amended benefit.

AE077	Active Knee Half Block Wedge	Half Block or Half Wedge, CoCr	1-5,  5 - 10 Deg	Changed Product Name, Description.

Amended benefit.

AE078	Active Knee Stem	Tibial stem for morse tapered tibial baseplate 	1-5,  A & B	Changed Product Name, Description.

Amended benefit with $442.00 gap.

AE079	Active Knee Ultra Plus Tibial Insert	 Tibial Insert, UHMWPE, anterior lipped 	1 - 5, 6 - 17.5mm Thickness	Changed Product Name, Description.

Amended benefit with $560.00 gap.

AE080	Carpal Fusion System Screw	316L Stainless Steel, Low Profile Custom Thread 	2 - 7 mm Diameter 12 - 24mm Length	Changed Product Group, Product Sub-Group.

AE081	Titan Plate & Screw System	Plates & Screws	3 Plates 6 Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE082	Titan Plate & Screw System	Fan Blade & Screws	1 Fan Blade 6 Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE083	Titan Plate & Screw System	Straight Plates	3 Plates	Changed Product Group, Product Sub-Group,

Suffix.

AE084	Titan Plate & Screw System	Straight Plate	1 Plate	Changed Product Group, Product Sub-Group.

AE085	Titan Plate & Screw System	Titan X Drive Screws	2 Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE086	Titan Plate & Screw System	Titan X Drive Screws	3 Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE088	Titan Plate & Screw System	Titan X Drive Screws	5 Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE089	Titan Plate & Screw System	Titan X Drive Screws	6 Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE090	Titan Plate & Screw System	Titan Rescue Screws	2 Rescue Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE091	Titan Plate & Screw System	Titan Rescue Screws	4 Rescue Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE092	Titan Plate & Screw System	Titan Rescue Screws	6 Rescue Screws	Changed Product Group, Product Sub-Group,

Suffix.

AE093	Titan Plate & Screw System	Y Plate	Y Plate	Changed Product Group, Product Sub-Group,

Suffix.

AE094	ACL Fixation Screws Tapered	Flat Head, Tappered, Titanium	9 - 11mm Diameter 30mm Length	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 4 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AE095	ASDM Standard ACL Fixation Screw	Standard Flat Head Screw	7 - 11mm Diameter 20mm - 50mm Length	Changed Product Group, Product Sub-Group.

AE096	ACL Fixation Screws	Round Head, Titanium	7-11mm Diameter 25 - 35mm Length	Changed Product Group, Product Sub-Group.

AE097	Tibial Post Screw	Titanium	5 - 6mm	Changed Product Group, Product Sub-Group.

AE098	Low Profile Tibial Screw	Titanium	7 - 10mm Diameter 25 -40mm Length	Changed Product Group, Product Sub-Group.

AE099	Active Knee Tibial Baseplate 	Tibial Baseplate, HA, uncemented, beaded, stemmed ,	Sizes 1 to 5 (A-Narrow & B-Wide)	Changed Product Name, Description.

CoCr	Amended benefit with $500.00 gap.

Plastic and Reconstructive

AE007	MF-Cortex Screw	Titanium	1.0 - 2.7mm dia,  length 2 - 40mm	Changed Product Group, Product Sub-Group.

Advanced Surgical Technologies

General/Miscellaneous

AD066	Adcon Anti-Adhesion Barrier Gel	Adcon Gel	3 gram	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

AD067	Adcon Gel for Tendons	Adcon Gel	1 gram only	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $60.00 gap.

Orthopaedic

AD103	Lineage and Transcend Acetabular Systems	Titanium, beaded, non HA	Shells 40 - 80mm in 2mm increments	Changed Product Name, Description.

AD104	Osteoset BVF Kit	Kit contains calcium sulfate, diluent, mould, spatula 	25cc only	Changed Product Group, Product Sub-Group.

and mixing bowl

AD105	Evolve Modular Radial Head	Cobalt chromium alloy, standard and plus stems	Stem 5.5 - 9.5mm Standard & +4	Changed Product Group, Product Sub-Group.

AD106	Orthosphere	Yttria-stabilized zirconia ceramic	9mm - 14mm	Changed Product Group, Product Sub-Group.

AD109	WMT Orthopaedics Implants Hinge Toe and 	Silastic flexible hinge toe with/without grommets	0, 1, 2, 3, 4, 5, 6, 7	Changed Product Group, Product Sub-Group.

Hammertoe Implant

AD110	Wright Titanium Great Toe	Great toe titanium	0,1, 2, 3, 4	Changed Product Group, Product Sub-Group.

AD116	Transcend/ Lineage Articulation System	Ceramic Liner, biolox forte	28mm & 32mm Group 1,2,3 & 4	Changed Description.

AD118	Transcend/Lineage Articulation System	Apical dome plug titanium	One size only	Changed Description, Product Sub-Group.

AD119	Transcend/Lineage Articulation System	Beaded, Titanium HA coated cup	42 - 74mm in 2mm increments	Changed Description.

AD125	WMT Acetabular Cups All Poly	UHMWPE unmodified 	42 - 68mm in 2mm increments	Changed Description.

AD127	WMT  Acetabular Liners	Duramer UHMWPE unmodified Liner	Grp 0, Grp 1, Grp 2, Grp 3, Grp 4, Grp 5, and Grp 6	Changed Description.

AD131	WMT Perfecta Hip System	PMMA cement Plug	9 - 21mm in 1mm increments	Changed Description.

AD135	Advance Total Knee System	Tibial component, CoCr, cemented	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	Changed Description.

Amended benefit.

AD136	Advance Total Knee System	Posterior stabilised, fixed tibial insert, UHMWPE	1, 2, 3, 4, 5, 6	Changed Description.

Amended benefit with $204.00 gap.

AD137	Advance Total Knee System patella components	All poly patella, recessed and onlay	25, 28, 32, 35, 38, 41mm	Changed Product Name, Description.

Amended benefit.

Changed Items for Prostheses List Report	Page 5 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AD139	Advance Total Knee System	High anterior lipped, Medial pivot UHMWPE fixed 	0, 1, 2, 3, 4, 5, 6 in 10 - 25mm thicknesses	Changed Description.

tibial insert	Amended benefit with $410.00 gap.

AD141	Advance Total Knee System	Cemented, grit blasted, minimally stabilised, femoral 	0, 1, 2, 3, 4, 5, 6	Changed Description.

component 	Amended benefit with $132.00 gap.

AD142	Advance Revision Knee System augments	Femoral Augments titanium, separate distal and 	1 - 5, 5mm thick, 10mm thick, posterior and distal	Changed Product Name, Description.

posterior with screw attachment 	Amended benefit.

AD143	Advance Revision Knee System	Cemented, grit blasted, totally constrained, femoral 	1, 2, 3, 4, 5	Changed Description.

component, CoCr	Amended benefit.

AD144	Advance Revision Knee System stems	Uncemented stems, femoral and tibial 	11 - 22mm in 1mm increments, 100 & 140mm lengths	Changed Product Name, Description.

Amended benefit with $420.00 gap.

AD145	Advance Revision Knee System insert	totally constrained, UHMWPE, fixed tibial insert with 	1, 2, 3, 4, 5, 6 in 10 - 30mm in 2mm increments	Changed Product Name, Description, Suffix.

reinforcing peg	Amended benefit with $258.00 gap.

AD146	Advance Revision Knee System tibial augments	Tibial augments, wedges and blocks, screw attachment	15 degree, sizes 1, 2/1+, 3/2+, 4/3+, 5/4+, 6/5+, Blocks 	Changed Product Name, Description.

5mm, 10mm, 15mm

AD147	Advance Revision Knee System	Revision tibial component,  titanium, cemented	0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	Changed Description.

Amended benefit.

AD148	Advance Revision Knee System stems	Cemented stemps, femoral and tibial	10, 12,14, 16, 18 x 65mm, 15 x 30mm	Changed Product Name, Description.

Amended benefit with $302.00 gap.

AD149	Advance Revision Knee System	Optional bone screw for tibial component 	6.5mm x 1.5 - 6cm in 0.5cm increments long	Changed Description.

Amended benefit with $126.00 gap.

AD151	Osteoset	Calcium Sulphate	4.8mm pellets 10cc	Changed Product Group, Product Sub-Group.

AD152	Osteoset T Pellets	Calcium sulphate with tobramycin	20cc	Changed Product Group, Product Sub-Group.

AD156	Sorbie Questor Elbow System	Total joint CoCr and UHMWPE	Left and right in sizing 48mm wide, 46mm, 44mm	Changed Product Group.

AD159	WMT Orthopaedic Implants Finger/Thumb	Silastic finger joint with/without Ti grommets 470 series	00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	Changed Product Group, Product Sub-Group.

AD160	WMT Orthopaedic Implants Radial/Ulna Head	Radial head implant HP silastic	1, 1.5, 2, 2.5, 3	Changed Product Group, Product Sub-Group.

AD161	WMT Orthopaedic Implants Radial/Ulna Head	Radial head titanium	1, 1.5, 2, 2.5, 3	Changed Product Group, Product Sub-Group.

AD163	WMT Orthopaedic Implants Hand	Trapezium silastic	1, 2, 3, 4, 5	Changed Product Group, Product Sub-Group.

AD164	WMT Orthopaedic Implants Hand	Silastic tendon spacer	24in long, 3, 4, 5, 6mm wide	Changed Product Group, Product Sub-Group.

AD167	Wright Swanson Titanium Carpal Scaphoid, Carpal 	Titanium	1 - 5 left and right	Changed Product Group, Product Sub-Group.

Lunate, Basal Thumb Implant

AD168	Advantim Total Knee System	Beaded Femoral Component, CoCr 	Small, Medium, Large, Xlarge	Changed Description.

Amended benefit.

AD169	Advantim Total Knee System	Cemented femoral component, CoCr	Small, Medium, Large, Xlarge	Changed Description.

Amended benefit.

AD171	Advantim Total Knee System	Tibial Inserts Total Condylar UHMWPE, includes 	10-36mm in 2mm increments	Changed Description.

unconstrained insert and minimally stabilised (LSI)	Amended benefit.

AD172	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium CoCr short 	3" Length in Small-Xlarge	Changed Description, Product Group, Product

stem. This stem is required for primary prosthesis.	Sub-Group.

AD173	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium CoCr long 	6" Length in Small-Xlarge	Changed Description, Product Group, Product

stem. This stem is required for primary prosthesis.	Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 6 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AD174	Advantim Total Knee System	Patella All Poly UHMWPE	25,28,32mm	Changed Description.

Amended benefit.

AD176	Advantim Total Knee System	Cortical Bone Screws, to fix femoral component to 	4.5mm x 2.0 - 7.5cm in 0.5cm increments long	Changed Description.

bone, Titanium optional	Amended benefit with $85.00 gap.

AD178	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm	Changed Product Group, Product Sub-Group.

AD183	Advance Total Knee System	Tibial component, beaded, titanium	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	Changed Description, Suffix.

Amended benefit.

AD185	Advantim / Ortholoc Revision Knee	Femoral component CoCr Revision beaded varying 	Small, Medium, Large, Xlarge	Changed Product Name, Description.

distal and posterior buildups 	Amended benefit.

AD186	Advantim / Ortholoc Revision Knee	Femoral component CoCr Posterior Stabilised, beaded,	Small, Medium, Large, Xlarge	Changed Product Name, Description, Suffix.

without buildup	Amended benefit.

AD187	Advantim / Ortholoc Revision Knee	Tibial Revision Smooth/Finned Titanium	6" Length in varying diameters 	Changed Product Name, Size.

Amended benefit.

AD188	Advantim / Ortholoc Revision Knee	Tibial inserts posterior stabilised UHMWPE (LSI and 	Small, Medium, Large, X-Large - 10 to 35mm in 	Changed Product Name, Description.

"unconstrained" insert ranges)	2mm increments	Amended benefit.

AD190	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem Thickened Base 	Small, Small Plus, Medium, Medium Plus, Large, 	Changed Product Name, Description.

(beaded)	Large Plus, Xlarge	Amended benefit.

AD191	Advantim / Ortholoc Revision Knee	Tibial Components Modular Stem, medial or lateral 	Small, Small Plus, Medium, Medium Plus, Large, 	Changed Product Name, Description.

wedged base (beaded) Titanium	Large Plus, Xlarge	Amended benefit.

AD192	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, cemented, non	Small, Small Plus, Medium, Medium Plus, Large, 	Changed Product Name, Description.

beaded CoCr	Large Plus, Xlarge	Amended benefit.

AD193	Advantim / Ortholoc Knee	Tibial Components Modular Stem Base, uncemented 	Small, Small Plus, Medium, Medium Plus, Large, 	Changed Product Name, Description.

and beaded CoCr	Large Plus, Xlarge	Amended benefit.

AD195	Advantim / Ortholoc Revision Knee	Femoral stems titanium	5 Degree 6", 7 Degree 6" varying diamters 	Changed Product Name, Size.

Amended benefit.

AD205	Advance-Unicondylar Knee System	Uni Femoral component, cemented, CoCR 	Sizes 1, 2, 3, 4	Changed Description.

Amended benefit.

AD206	Advance-Unicondylar Knee System	Uni all poly tibial insert	Sizes 1, 2, 3, 4 in 7mm, 8mm, 9mm, 10mm	Changed Description.

Amended benefit.

AD208	OSTEOSET - BVT KIT (STANDARD CURE, FAST 	Mini Bead Kit	5cc Standard/Fast Cure	Changed Product Group, Product Sub-Group.

CURE)

AD209	Osteoset Pellets - Bone Graft Substitute	Calcium Sulphate	4.8mm Pellets 20cc	Changed Product Group, Product Sub-Group.

AD212	CONSERVE Total hip head	CoCr SLT Taper Femoral Head	Sizes 38mm-54mm in 2mm increments, -3.5 to +3.5 	Changed Product Name, Product Sub-Group.

Neck

AD214	Advance Total Knee System	Stemmed Condylar medial pivot component, 	1, 2, 3, 4, 5, All in left & right	Changed Description, Product Sub-Group.

uncemented, beaded, non HA, CoCr used with anterior	Amended benefit.

lipped insert, minimally constrained

AD217	Advance Total Knee System Augments 	Offset tibial block augments, screw fixation for use 	1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 5mm, 10mm, 15mm	Changed Product Name, Description.

with offset stemmed tibial component 	Amended benefit.

AD218	Advance Total Knee System	Revision tibial component, titanium, cemented with 	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ in Left & Right	Changed Description.

offset stem	Amended benefit with $718.00 gap.

AD219	Advance Total Knee System	Stemmed condular medial pivot component, 	1, 2, 3, 4, 5  All in Left & Right	Changed Description, Product Sub-Group.

cemented, grit blasted, minimally stabilised, femoral 	Amended benefit.

component, CoCr, usually used with a anterior lipped

Changed Items for Prostheses List Report	Page 7 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AD221	Osteoset Bone Void Filler	Calcium Sulphate	3mm & 4.8mm Pellets 5cc	Changed Product Group, Product Sub-Group.

AD222	Osteoset Bone Void Filler	Calcium Sulphate	3mm Syringe 1.25cc	Changed Product Group, Product Sub-Group,

Suffix.

AD223	Osteoset Bone Void Filler	Calcium Sulphate	4.8mm Syringe 5cc	Changed Product Group, Product Sub-Group.

AD227	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler, Includes	5cc	Changed Product Group, Product Sub-Group.

Syringe

AD228	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler, Includes	15cc	Changed Product Group, Product Sub-Group.

Syringe

AD230	Profemur Total Hip System 	Titanium uncemented proximal body, grit blast 	X-small, Small, Standard 1, Standard 2, Standard 3, 	Changed Product Name, Description.

Standard 4, Large

AD231	Profemur Total Hip System	Titanium tapered Splined, Straight or bowed Stem, grit 	Length 95 - 215mm, Diameter 10 - 22.5mm	Changed Description, Size.

blasted

AD232	Profemur Total Hip System	Profemur E Stem - without HA grit blasted 'Titanium	1 Standard - 9 Standard	Changed Description.

AD235	Profemur Total Hip System	Titanium tapered, Straight or bowed Stem, plasma 	Length 95 - 215mm, Diameter 10 - 22.5mm	Changed Description, Size, Product Sub-Group.

coated

AD237	Profemur Total Hip System	Anca-fit Femoral Stem with 1/3 proximal HA, grit 	9.5, 11, 12, 13, 14, 15, 16, 17.5, left and right	Changed Description.

AD241	Limb Salvage System for the skeletally immature - 	Repiphysis non invasive expandable custom designed 	Custom Made	Changed Description.

Repiphysis	prosthesis for proximal tibia, distal or total femur (all 	Amended benefit.

components delivered as one unit)

AD242	Limb Salvage System for the Skeletally Immature - 	Repiphysis non invasive expandable custom designed 	Custom Made	Changed Description, Product Group, Product

Repiphysis	prosthesis for the upper limb (all components delivered	Sub-Group.

as one unit)	Amended benefit.

AD244	Guardian Limb Salvage System	Special indication distal femur 	Left & Right	Changed Description.

Amended benefit.

AD245	Guardian Limb Salvage System	Tibial Hinge Assembly with polyethylene bearing, 	One Size only	Changed Description.

with/ without rotational stop pin - CoCR 	Amended benefit.

AD246	Guardian Limb Salvage System	Quick Snap Axial Pin, CoCr, Titanium	1, 2, 3, 4	Changed Description, Product Group, Product

Sub-Group.

Amended benefit.

AD248	Guardian Limb Salvage System	Stemmed tibial tray	1 - 5	Changed Description.

Amended benefit.

AD249	Guardian Limb Salvage System	Duramer specialised Tibial insert, UHMWPE	8, 10, 12, 16, 20mm	Changed Description.

Amended benefit.

AD250	Guardian Limb Salvage System	Male-Male Mid-Section extender 	40, 50, 60, 70, 90, 110, 140mm	Changed Description, Product Group, Product

Sub-Group.

Amended benefit.

AD251	Guardian Limb Slavage System	Guardian  Femoral Stem Straight/Tapered - Titanium	11, 13, 15, 17mm x 152mm	Changed Description.

Amended benefit.

AD252	Guardian Limb Salvage System	Proximal Tibial replacement 	One Size Only	Changed Description.

Amended benefit.

AD253	Guardian Limb Salvage System	Resurfacing Femur with extensive distal femoral 	2, 3, 4, Left & Right	Changed Description, Product Group, Product

buildup 	Sub-Group, Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 8 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AD255	Guardian Limb Salvage System	Guardian beaded extended collar Femoral Stem 	11, 13, 15, 17mm x 152mm	Changed Description.

Straight/Tapered - Titanium	Amended benefit.

AD256	Guardian Limb Salvage System	Guardian Femoral Stem Straight - without plasma 	9, 11, 13 x 120mm	Changed Description.

collar Titanium	Amended benefit.

AD257	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Large wire 2.0-3.0 - Sizes 20x20x20, 22x25x22, 	Changed Product Group, Product Sub-Group,

Biocompatible Nitonol	30x30x30, 12x15x12	Suffix.

AD258	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Small wire 1.2-1.5 - Sizes 5x7x5, 7x9x7, 8x11x8, 	Changed Product Group, Product Sub-Group,

Biocompatible Nitonol	10x11x10, 10x13x10, 12x15x12, 15x15x15, 18x15x18, 	Suffix.

15x20x15, 18x20x18

AD259	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Asymmetric - 11x15x13, 11x17x15, 11x17x19 &	Changed Size, Product Group, Product Sub-

Asymmetric Staples - Biocompatible Nitonol 	18x18x15	Group, Suffix.

Construction

AD260	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Plate Staple - 	Plate Staple - 15x6, 15x8, 15x10	Changed Product Group, Product Sub-Group,

Biocompatible Nitonol Construction	Suffix.

AD261	Procotyl-E cup ceramic inserts	Ceramic insert, biolox forte	Group 1 - 3, Size 28 and 32	Changed Description.

AD262	Procotyl-E cup	acetabular reconstruction shell titanium alloy	52mm - 76mm, in 2mm increments	Changed Description.

AD263	Procotyl-E cup	unmodified polyethylene liner	Group 1 - 3 sizes 22 - 32	Changed Description.

AD264	Procotyl-E T Plate	titanium alloy plates	One size only for left and right	Changed Description, Product Group, Product

Sub-Group.

AD265	Procotyl-E screws	titanium alloy	Diameter 5.5mm, Length 15 - 60mm	Changed Product Sub-Group.

AD267	Procotyl-E hooks	titanium alloy hook	18mm, 23mm, 28mm	Changed Description, Product Group, Product

Sub-Group.

AD269	Femoral Head	Femoral Head Cast Cobalt Chrome Alloy	22.5mm - 32mm Femoral Head and neck ranging 	Changed Product Name, Description, Product

from -3.5mm to +7mm	Group, Product Sub-Group.

AD272	Evolve Radial Head Plate	Evolve Radial Plate System Stainless Steel	32mm x 20 - 26mm in 2mm increments	Changed Product Group, Product Sub-Group.

AD274	Evolve Locking Cancellous Bone Screws	The Evolve stainless steel locking screw	2.0mm x 14 - 28mm	Changed Product Group, Product Sub-Group.

AD276	Advance HA Coated Tibial Base	Tibial component, beaded, titanium, HA	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	Changed Description, Suffix.

Amended benefit.

AD277	LPT Great Toe Implant	Titanium LPT Metatarsal Component available in 	Sizes 1, 2 & 3 Regular Great Toe Implants. Sizes 1 & 2	Changed Product Group, Product Sub-Group.

Regular and Angled Toe	 Angled Great Toe Implants

AD280	Advance Double High Tibial Insert	Minimally stabilised, fixed, tibial insert, with high 	All inserts are available in Left and Right: Sizes 1.5, 0, 	Changed Description.

flexion, UHMWPE 	1, 2, 3, 4, 5, & 6, in the following increments of 10, 12, 	Amended benefit with $310.00 gap.

14, 17, 20 & 25mm

AD281	Micronail intramedullary radial fixation	Titanium, Distal radial nail	1, 2, 3, and 4	Changed Product Group, Product Sub-Group,

Suffix.

AD282	Micronail intramedullary radial fixation	2.7mm Titanium Screw	10mm - 20mm	Changed Product Group, Product Sub-Group.

AD283	E-Centrix Ulnar Head Replacement	Ulnar Head	16 x 1.5mm Offset, 16 x 3.0mm Offset, 18 x 1.5mm 	Changed Product Group, Product Sub-Group,

Offset, 20 x 1.5Offset, 20 x 3.0mm Offset	Suffix.

AD284	E-Centrix Ulnar Head Replacement	Ulnar Stem	5.5 STD, 6.5 STD, 7.5 STD, 8.5 STD	Changed Product Group, Product Sub-Group,

Suffix.

AD285	E-Centrix Ulnar Head Replacement	Ulnar Stem Extender	20mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 9 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AD286	BFH Total, A-class	Cobalt Chrome super finished femoral head. Size 	36mm to 56mm in 2mm increments each with - 	Changed Product Sub-Group.

range from 36mm to 56mm in 2mm increments with 	3.5mm, 0mm, + 3.5mm head lengths

3 head lengths per size

AD299	Advance HA Coated Femoral Component	Uncemented, beaded, HA, CoCr, usually used with a 	1 - 6 Left and Right	Changed Description, Product Sub-Group.

anterior lipped insert	Amended benefit with $172.00 gap.

AD300	Advance Total Knee System	Uncemented, beaded, non HA, CoCr, usually used 	1, 2, 3, 4, 5, 6	Changed Description, Product Sub-Group.

with a anterior lipped insert	Amended benefit.

AD303	Evolve Modular Radial Head	Cobalt chromium alloy head	Head 20-28mm Std +2 and +4mm	Changed Product Group, Product Sub-Group.

AD304	Osteoset T Pellets	Calcium sulphate with tobramycin	10cc	Changed Product Group, Product Sub-Group.

AD305	Micronail Intramedullary Radial Fixation	2.5mm ti buttress screw	16 - 28mm	Changed Product Group, Product Sub-Group.

AD309	Lineage A-Class Crosslinked Polyethylene Liner	Standard and lateralized, 0deg and 15deg lipped 	28, 32, 36ID	Changed Description.

crosslinked

AD310	Charlotte Foot & Ankle System	High demand compression screw, cannulated, stainless	6.5mm& 7.0mm dia, 40-110mm lengths in 5mm 	Changed Product Group, Product Sub-Group,

steel	increments	Suffix.

AD311	Charlotte Foot & Ankle System	Multi use compression screw, cannulated, stainless steel	3.0 & 4.3mm dia. 10-60mm in 2mm increments	Changed Product Group, Product Sub-Group,

Suffix.

AD312	Charlotte Foot & Ankle System	Snap-off screws, titanium alloy	2.0 dia 11, 12, 14mm. 2.7 dia 13, 15, 17mm	Changed Product Group, Product Sub-Group.

AD314	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, small & standard	Changed Product Group, Product Sub-Group.

AD315	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, extended	Changed Product Group, Product Sub-Group,

Suffix.

AD316	Charlotte MTP Fusion System	MTP plate screw, stainless steel	2.7 & 3.2 dia. 8-24mm length in 2mm increments	Changed Product Group, Product Sub-Group.

AD317	Charlotte MTP Fusion System	MTP plate, stainless steel, SLIM LINE	Left & right	Changed Product Group, Product Sub-Group.

AD319	Profemur Total Hip System	Extension Piece for the profemur R, Titanium, grit blast	L26 x D19mm, D21mm & D23mm; 	Changed Description, Size, Product Sub-Group.

AD320	Profemur Total Hip System	Revision Hip Proximal Body Extension Piece, 	L52 x D21mm; 	Changed Size.

AD322	Quadra-Fix Acetabular Shell 	Quadra-Fix Double threaded, 6.5mm Cancellous bone 	35mm - 80mm in 5mm increments	Changed Product Name, Description.

Screw

AD323	Charlotte Foot & Ankle System	Compression Staple, Stainless Steel	13, 15, 20, 25mm interaxis, leg lengths 11, 13, 15, 17, 	Changed Product Group, Product Sub-Group,

20 & 25mm, 10 Sizes in Total	Suffix.

AD324	Charlotte Foot & Ankle System	Quick Staple, Stainless Steel	One Size Only	Changed Product Group, Product Sub-Group.

AD326	Calcaneal Step OSStaple	Dynamic Compression Implant, Calcaneal Step 	2mm, 4mm, 6mm 9mm & 12mm offsets	Changed Product Group, Product Sub-Group,

OSStaple, Nitinol Memory Alloy	Suffix.

AD327	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	7cc	Changed Product Group, Product Sub-Group.

AD328	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	15cc & 20cc	Changed Product Group, Product Sub-Group,

Suffix.

AD329	Procotyl L  Acetabular Cup	Beaded, Titanium HA coated cup	42 - 68mm	Changed Description.

AD330	Procotyl L Acetabular System / Acetabular shell non 	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	Changed Description.

HA

AD334	Dynasty Acetabular System/ Actebular Shell	Beaded Acetabular shell non HA	42 - 68mm in 2mm increments	Changed Description.

Alcon Laboratories (Aust.) Pty Ltd

Ophthalmic

Changed Items for Prostheses List Report	Page 10 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AL001	Capsular Tension Rings	-	10.0 - 12.0 compressed,  12.3 - 14.5 uncompressed	Changed Product Group, Product Sub-Group.

AL005	DUOVISC VISCOELASTIC SYSTEM	PROVISC contains sodium hyaluronate, VISCOAT 	Small & large packs	Changed Product Group, Product Sub-Group,

contains chondroitin sulfate and sodium hyaluronate	Suffix.

AL006	PROVISC VISCOELASTIC SOLUTION	PROVISC contains sodium hyaluronate	0.55mL & 0.85mL packs	Changed Product Group, Product Sub-Group,

Suffix.

AL007	VISCOAT Viscoelastic Fluid	Chondroitin sulfate and sodium hyaluronate	0.5mL packs	Changed Product Group, Product Sub-Group,

Suffix.

AL013	Perfluoron Kits	Perfluoro-n-octane for use as a retinal surgery 	5mL	Changed Product Group, Product Sub-Group.

AL014	Perfluoron Kits	Perfluoro-n-octane for use as a retinal surgery 	7mL	Changed Product Group, Product Sub-Group.

AL015	Cellugel viscoelastic fluid	Hypromellose 2%	.	Changed Product Group, Product Sub-Group.

AL016	Alcon Acrysof Natural Model SN60AT	Foldable Acrylic Single-piece Lens, asymmetric 	+6 to +40D	Changed Product Sub-Group, Suffix.

optic/consistent edge, with blue light protection

AL019	AcrySof Model SN60AS	Foldable Acrylic Single-piece lens, in cartridge, with 	+6 to +40 D	Changed Product Sub-Group, Suffix.

blue light protection

AL023	Alcon AcrySof Toric PC IOL Models	Posterior chamber, UV absorbing, foldable, acrylic, 	SN60T3 (1.50 D cylinder), SN60T4 (2.25 D cylinder), 	Amended benefit.

toric, single piece lens with blue light protection	SN60T5 (3.00 D cylinder), SN60T6 (3.75 D cylinder),

SN60T7 (4.50 D cylinder), SN60T8 (5.25 D cylinder),

SN60T9 (6.00 D cylinder)

AL024	AcrySof SN60WS	Foldable Acrylic Single-piece Lens with Blue light 	+6 to +36 D	Changed Product Sub-Group, Suffix.

protection and aspheric correction, in cartridge.

AL025	AcrySof Multipiece Models MN60MA, MN60AC	Foldable Acrylic multi-piece Lens with Blue light 	- 5 D to + 30 D	Changed Product Sub-Group.

Protection

AL029	DisCoVisc Ophthalmic Viscosurgical Device	An aid for use in surgery in the anterior segment of the	0.5 mL and 1.0 mL	Changed Product Group, Product Sub-Group.

eye

Applied Medical Australia Pty Ltd

General/Miscellaneous

MH008	Applied Medical Laparoscopic Clip Applier - 	Disposable Clip Applier made from polycarbonate, 	Medium - large - 20 clips per device	Changed Product Group, Product Sub-Group,

Disposable Cartridge - CA001 Box of 10	nylon, stainless steel, liquid crystal polymer, bone 	Suffix.

wax, titanium clip.  The disposable cartridge is used in 	Amended benefit.

conjunction with a reuseable handle.

MH009	Applied Medical Laparoscopic Clip Applier - 	Disposable Clip Applier made from polycarbonate, 	Medium - large, 20 clips per device	Changed Product Group, Product Sub-Group.

Disposable CA080 Box of 6	nylon, stainless steel, liquid crystal polymer, bone 	Amended benefit.

wax, titanium clip

Urogenital

MH010	Silhouette Ureteral Stent	The Silhouette Ureteric Stent is manufactured with a 	Multiple French Sizes & Lengths	Changed Size, Product Sub-Group.

soft material that provides superior comfort.  It has

superior column strength through a coil-reinforced

body providing effortless placement.  The tight coils

prevent migration.  The smaller outside diameter of 4F

with inner diameter comparable to 6F standard stents

provides exceptional drainage.  SL-6 hydrophilic

coating further facilitates placement.

AstraZeneca Pty Ltd

Changed Items for Prostheses List Report	Page 11 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Orthopaedic

AE087	Titan Plate & Screw System	Titan X Drive Screws	4 Screws	Changed Product Group, Product Sub-Group.

Atrium Australia - Pacific Rim Pty Limited

General/Miscellaneous

AC005	Atrium polypropolene mesh - surgical mesh	Polypropolene	2.5cm x 7.5cm - 7.5 x 15cm	Changed Size, Product Group, Product Sub-

Group.

Amended benefit.

AC006	Atrium polypropolene mesh - surgical mesh	Polypropolene	30 x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $11.00 gap.

AC007	Atrium polypropolene mesh - surgical mesh	Polypropolene	10cm x 15cm - 15cm x 22.5cm	Changed Size, Product Group, Product Sub-

Group.

Amended benefit with $70.00 gap.

AC008	Atrium polypropolene mesh - surgical mesh	Polypropolene	26 x 36cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $10.00 gap.

AC009	Atrium polypropolene mesh - surgical mesh	Polypropolene - Pre-shaped with hole	6.5 x 12.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

AC010	Atrium polypropolene mesh - surgical mesh	Polypropolene	5 x 10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

AC011	Atrium polypropolene mesh - surgical mesh	Polypropolene mesh plug	Small, Medium, Large and Extra Large	Changed Product Group, Product Sub-Group.

Amended benefit.

Vascular

AC001	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	Changed Product Sub-Group, Suffix.

AC002	Atrium PTFE Vascular Graft	Straight PTFE Standard Wall	6mm x 10cm - 10mm x 90cm	Changed Product Sub-Group, Suffix.

AC003	Atrium PTFE  Vascular Graft	Tapered PTFE Standard Wall	4-6mm x 30cm - 6-8mm x 90cm	Changed Product Sub-Group, Suffix.

AC004	Atrium PTFE  Vascular Graft	Vascular Access Graft PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	Changed Product Sub-Group, Suffix.

AC012	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	Changed Product Sub-Group, Suffix.

AC013	Atrium PTFE Vascular Graft	Straight PTFE Thin Wall	6mm x 10cm - 10mm x 90cm	Changed Product Sub-Group, Suffix.

AC014	Atrium PTFE Vascular Graft	Tapered PTFE Thin Wall	4-6mm x 30cm - 6-8mm x 90cm	Changed Product Sub-Group, Suffix.

AC015	Atrium PTFE Vascular Graft	Vascular Access Graft PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	Changed Product Sub-Group, Suffix.

AC016	Atrium Ultramax PET Grafts	Bifurcate Polyster Graft	12mm x 24mm - 6mm x 12mm x 40cm	Changed Product Sub-Group, Suffix.

AC017	Atrium Ultramax PET Grafts	Axillo-bifemoral Polyster Graft	8mm - 10mm  100 x 60cm	Changed Product Sub-Group, Suffix.

AC018	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 15cm  - 24mm  x 30cm	Changed Product Sub-Group, Suffix.

AC019	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 40cm  - 8mm  x 100cm	Changed Product Sub-Group, Suffix.

AC020	Advanta SST, VXT, AFT GDS	PTFE Vascular Graft	4mm x 10cm - 24mm x 100cm	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 12 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AC025	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch.  Composition is	Size range 8mm x 75mm to 50mm x 152mm	Changed Product Sub-Group, Suffix.

polyester impregnated with absorbable gelatin

Aus Systems Pty Ltd

Orthopaedic

AU001	Aus Systems Titanium Miniplates (Bone Plates)	2hole x 2hole Strip Plate Stiff	1.2mm profile, 4, 6, 8mm length between inner holes	Changed Product Group, Product Sub-Group.

Austmed Pty Limited

Ophthalmic

AP002	Mira: Scleral Implants	Silicone Sponge- Retinal Implant Used in Scleral 	Sponge- Mira 502 Cylinder 2mm, Mira 5025 Cylinder 	Changed Product Group, Product Sub-Group.

Buckling (Silicone Elastomer Sponge)	2.5mm, Mira 503 Cylinder 3mm, Mira 504 Cylinder

4mm, Mira 505 Cylinder 5mm, Mira 505G Grooved

cylinder 5mm, Mira 505T Packer tunnel cylinder

5mm, Mira 510 Half cylinder 5mm, Mira 515 Brucker

two-thirds cylinder 5mm, Mira 501 Masciulli oval

2.5mm by 4mm, Mira 506 Vaiser oval 3mm by 5mm,

Mira 506G Vaiser grooved oval 3mm by 5mm, Mira

507 oval 5.5mm by 7.5mm, Mira 507G Grooved oval

5.5mm by 7.5mm, Mira 507T Packer tunnel oval

5.5mm by 7.5mm, Mira 511 Half oval 7.5mm, Mira

517 Brucker two-thirds oval 7.5mm, Mira 509 Fuller

flat oval 3.5mm by 7.5mm, Mira 509G Fuller grooved

flat oval 3.5mm by 7.5mm, Mira 518 Frederick

grooved flat oval 2.5mm by 12mm, Mira 508

Frederick flat oval 4mm by 12mm, Mira 508G

Frederick grooved flat oval 4mm by 12mm, Mira 513

Snyder 3+ meridional 7mm by 4mm, Mira 514

Snyder 4+ meridional 8mm by 5mm, Mira 516G

Tapered groove 6.4mm, Mira 519G Tapered groove

7.5mm by 3.2mm.

AP003	Mira: Scleral Implants	Solid Silicone-Tire/Meridional/Wedge/Pad. Retinal 	Tires-Mira 286 Wendel Symmetrical Oval Tire 6mm, 	Changed Product Group, Product Sub-Group.

Implant used in Scleral Buckling 	Mira Symmetrical Oval Tire 7mm, Mira 287WG

(Dimethylmethylvinyl Siloxane Copolymer)	Murray wide (3.5mm) grooved symmetrical tire,

10mm wide, Mira 288 ross symmetrical grooved tire,

low profile 10mm wide by 2.5mm, Mira 289

Symmetrical oval tire 10mm, Mira 277Symmetrical

tire 7mm, Mira 279 Symmetrical tire 9mm, Mira 78G

Grooved symmetrical tire 10mm, Mira 281

Symmetrical tire 12.5mm, Mira 275 Munsen

Asymmetrical tire 6mm, Mira 276 Asymmetrical tire

7mm, Mira 278 Brockhurst asymmetrical tire 8.5mm,

Mira 280LG Large grooved asymmetrical tire 10mm,

Mira 77G Grooved hemisphere 26mm. Meridional-

Mira 106 Meridional Implant 6mm by 10.5mm, Mira

112 Curved Meridional implant 12mm by 12mm, Mira

103 Meridional implant 4mm by 15mm. Wedge-

Mira 135 Pruett maxi wedge 14mm, Mira Pruett midi

wedge 12mm, Mira 190 Spencer sub-implant 5mm by

10mm. Pad- Mira 80 Pad 4mm by 8mm, Mira 22

Button 5mm by 5mm

Changed Items for Prostheses List Report	Page 13 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AP004	Mira: Scleral Implants	Solid Silicone-Sleeve. Retinal Implant used in Scleral 	Sleeves-Mira 70 Sleeve 1mm I.D., Mira 71 Sleeve 	Changed Product Group, Product Sub-Group.

Buckling (Dimethylmethylvinyl Siloxane Copolymer)	1mm I.D., Mira 72 McNutt Sleeve 1.57mm I.D., Mira

270 Sleeve 0.76mm I.D.

AP006	Mira: Scleral Implants	Solid Silicone-Band/Strip/Boat/Clip. Retinal Implant 	Bands-Mira 40 Circling Band 2mm, Mira 240 Circling 	Changed Product Group, Product Sub-Group.

used in Scleral Buckling (Dimethylmethylvinyl 	Band 2.5mm. Strips-Mira 41 Strip 3.5mm, Mira 42

Siloxane Copolymer)	Strip 4mm, Mira 20 Strip 4mm, Mira 219 Strip 4.5mm,

Mira 31 Strip 4.5mm, Mira 32 Strip 5mm, Mira 225

Oval Strip 5mm, Mira 220 Strip 6mm. Boats-Mira 60

Boat 2mm, Mira 260 Boat 2.5mm. Clips-Mira 50

Double Tantalum Clip 2mm, Mira 250 Double

Tantalum Clip 2.5mm, Mira 51 Singla Tantalum Clip

3.5mm, Mira 52 Joondeph Single Tantalum Clip 4mm

Austofix

Orthopaedic

AX003	Austofix Intramedullary Screws	Humeral Head Screw, stainless steel	4.3mm	Changed Product Group, Product Sub-Group,

Suffix.

AX009	Austofix Intramedullary Nail	Custom Nails, stainless steel	5-13mm	Changed Product Group, Product Sub-Group.

AX012	Austofix Intramedullary Screws	Proximal Thread Locking Screw, stainless steel	4.0mm & 4.5mm	Changed Product Group, Product Sub-Group,

Suffix.

AX013	Proximal Humeral Nail	Stainless Steel	Diameter 8 mm, Length 170 mm	Changed Product Group, Product Sub-Group,

Suffix.

AX020	S2 Nail System	Cannulated supracondylar nail, stainless steel	11/13mm x 160-380mm	Changed Product Group, Product Sub-Group,

Suffix.

AX021	S2 Nail System	6.2mm condylar screws	6.5mm x 60-85mm	Changed Product Group, Product Sub-Group.

AX022	Austofix Femoral & Tibial Nailing System	Tibial Nail 4.0/4.8; s-s	Dia 8 - 11mm, Lengths 260 - 420mm	Changed Product Group, Product Sub-Group,

Suffix.

AX023	Austofix Femoral & Tibial Nailing System	4.0/4.8 Screws; Locking; dual thd; high nitrogen s-s	Dia 4.0 - 4.8mm; Lengths 20-80mm	Changed Product Group, Product Sub-Group,

Suffix.

AX024	Austofix Femoral & Tibial Nailing System	F2 Femoral Nail 4.8/6.2; s-s	Dia 9 - 12mm; Lengths 320 - 460mm	Changed Product Group, Product Sub-Group.

AX025	Austofix Femoral & Tibial Nailing System	6.2/6.5mm Hip Screw; high nitrogen s-s	Dia 6.2 & 6.5mm; Lengths 70 - 120mm	Changed Product Group, Product Sub-Group.

AX026	Austofix Femoral & Tibial Nailing System	F2 Hip Nail 4.8/6.5; high nitrogen s-s	Dia 11mm, Length 170mm - 240mm	Changed Product Group, Product Sub-Group,

Suffix.

AX027	Austofix Femoral & Tibial Nailing System	Washer for screws; s-s	Dia 11mm & 13mm	Changed Product Group, Product Sub-Group.

AX028	Austofix Femoral & Tibial Nailing System	K-Wire; s-s; trocar tip	1.6mm	Changed Product Group, Product Sub-Group.

AX029	Austofix Femoral & Tibial Nailing System	End Cap; I.M. Nails; s-s	8 - 13mm	Changed Product Group, Product Sub-Group.

Australasian Medical & Scientific Ltd

General/Miscellaneous

AN002	Animas IR Insulin Infusion Cartridge	3.0ml Cartridge, sterile, indicated as reservoir for 	one size only	Changed Product Group, Product Sub-Group.

insulin by the Animas infusion pump; not intended for 	Amended benefit.

use with any other infusion device.

Changed Items for Prostheses List Report	Page 14 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AN003	Animas Insulin Infusion Sets	(INFUSION SET, COMFORT, 23", HOSP 10, 	one size only	Changed Product Group, Product Sub-Group.

INFUSION SET, COMFORT 43", HOSP 10) Needle 	Amended benefit.

guard, soft cannula, adhesive tape, introducer needle,

cannula housing, tubing, connector needle, circular

protective cap and disconnect cover.

AN004	Animas Insulin Infusion Set	(INFUSION SET, COMFORT, 23", STD 5/5 AND 	One size only	Changed Product Group, Product Sub-Group.

INFUSION SET, COMFORT, 43" STD 5/5) Needle 	Amended benefit.

guard, soft cannula, adhesive tape, introducer needle,

cannula housing, tubing, connector needle, circular

protective cap and disconnect cover.

AN005	Animas 2020 Insulin Pump.	Ambulatory Insulin Infusion Pump	7.4cm x 5cm x 1.9cm	Changed Product Group, Product Sub-Group.

Amended benefit.

AN006	Animas IR 1200 Insulin Infusion Cartridge (Insulin 	Sterile, indicated as reservoir for insulin by the Animas	Cartridge Capacity - 2.0mL or 200 units	Changed Product Group, Product Sub-Group.

Infusion Pump IR 1200 Series)	 Infusion Pump, not intended for use with any other 	Amended benefit.

infusion device.

Austspine Pty Ltd

Neurosurgical

AJ001	Preference II Pedicle Screw and Reduction screw/ 	Polyaxial Pedicle Screw and Reduction Screw	Length 25mm-60mm, Diameter 4.5mm-8.2mm	Changed Suffix.

Preference- II pedical screw system

AJ004	Preference - II pedicle screw system	Cross Link for Preference-II Pedicle Screw Fixation 	4 sizes: 45mm, 55mm, 70mm and 90mm	Changed Suffix.

System

Orthopaedic

AJ005	Kasios TCP	TCP Bone graft substitute Granules	5cc	Changed Product Group, Product Sub-Group.

AJ006	Kasios TCP	TCP Bone graft substitute Granules	10cc	Changed Product Group, Product Sub-Group.

AJ007	JectOS	Injectable synthetic bone graft substitute	5cc	Changed Product Group, Product Sub-Group.

AJ008	JectOS 10cc	Injectable synthetic bone graft substitute	10cc	Changed Product Group, Product Sub-Group.

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

General/Miscellaneous

AS001	Endoclip Disposable Loading Unit; MultApplier 	Single use loading unit with 8 titanium clips; Disposable	One size only	Changed Product Group, Product Sub-Group.

Disposable loading unit.	 clip cartridge with 8 titanium clips	Amended benefit with $27.00 gap.

AS006	Ligation Clips - Disposable clip applier and ligating clips	Surgiclip	Small	Changed Product Group, Product Sub-Group.

Amended benefit.

AS011	GIA*, ILA* Staplers	Titanium	75mm (3.8mm, 4.8mm)	Changed Product Group, Product Sub-Group.

Amended benefit with $44.00 gap.

AS012	GIA* Reloading Unit 	Titanium. Multifire 60 Cartridge, 90 Premium 	50-60mm (2.5, 3.8mm)	Changed Product Group, Product Sub-Group.

Disposable Loading Unit with Titanium Staples,  50 	Amended benefit.

Premium Disposable Loading Unit with Titanium

Staples, Inverted Linear Anastomosis Cartridges 3944,

3943, 3978, 3946, 3945, 3976, 3977

Changed Items for Prostheses List Report	Page 15 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AS013	ILA* 52 Reloading Unit	Titanium. Multifire 60 Cartridge 90 Premium 	50 - 60mm (2.5mm, 3.8mm)	Changed Product Group, Product Sub-Group.

Disposable Loading Unit with Titanium Staples,  50 	Amended benefit.

Premium Disposable Loading Unit with Titanium

Staple,  Inverted Linear Anastomosis Cartridges 3944,

3943, 3978, 3946, 3945, 3976, 3977

AS016	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge,  Inverted Linear 	90mm (3.8, 4.8mm)	Changed Product Group, Product Sub-Group.

Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945, 	Amended benefit with $103.00 gap.

3976, 3977

AS017	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge, Inverted Linear 	100mm (3.8,4.8mm)	Changed Product Group, Product Sub-Group.

Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945, 	Amended benefit.

3976, 3977

AS018	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable Surgical Stapler 	DST TA60-3.5; DST TA60-4.8	Changed Product Group, Product Sub-Group.

and Loading Unit; Titanium staples used for hemostatic	Amended benefit.

closure of specific organs and blood vessels (ex

bowel, stomach and lung).

AS019	PI*, Stapler	Premium Multifire TA* Disposable Surgical Stapler 	30mm (2.5, 3.5, 4.8mm)	Changed Product Group, Product Sub-Group.

and Loading Unit	Amended benefit with $14.00 gap.

AS025	TA* Reloading Units; DST Series* Linear Stapler 	Premium Multifire TA* Disposable Surgical Stapler 	30mm (2.5, 3.5, 4.8mm); DST TA90-3.5 DLU; DST 	Changed Product Group, Product Sub-Group.

Disposable Loading Units	and Loading Unit; Titanium staples used for hemostatic	TA90-4.8 DLU; DST TA45-3.5 DLU; DST TA45-4.8 	Amended benefit.

closure of specific organs and blood vessels (ex 	DLU; DST TA60-3.5 DLU; DST TA60-4.8 DLU; DST

bowel, stomach and lung)	TA30-3.5 DLU; DST TA30-4.8 DLU; DST TA30V3

DLU.

AS026	PI*, Reloading Unit	Premium Multifire TA* Disposable Surgical Stapler 	30mm (2.5, 3.5, 4.8mm)	Changed Product Group, Product Sub-Group.

and Loading Unit	Amended benefit.

AS030	TA* Reloading Units	Premium Multifire TA* Disposable Surgical Stapler 	90mm (3.5mm, 4.8mm)	Changed Product Group, Product Sub-Group,

and Loading Unit	Suffix.

Amended benefit.

AS033	Power Stapler and Staples (Powered LDS*)	LDS Instrument & Cartridges (Disposable Loading 	One size only	Changed Product Group, Product Sub-Group.

Unit)	Amended benefit.

AS035	Roticulator*	Roticulator 30	30mm (3.5, 4.8mm)	Changed Product Group, Product Sub-Group.

Amended benefit with $35.00 gap.

AS036	Roticulator*	Roticulator 55	55mm (3.5, 4.8mm)	Changed Product Group, Product Sub-Group.

Amended benefit.

AS037	ROTICULATOR*	Polysorb 55 Disposable Loading Unit	55mm (3.5, 4.8mm)	Changed Product Group, Product Sub-Group.

Amended benefit with $35.00 gap.

AS045	STAT TACK* and Endoscopic Tacker Device; 	Endoscopic TACKER*; Titanium; Titanium Surgical 	20 tacks; 30 tacks; 5mm; 4mm, 4.8mm (10 staples).	Changed Product Group, Product Sub-Group.

PROTACK* Hernia Stapling Product; ENDO 	Stapler.	Amended benefit.

UNIVERSAL*

AS046	Endo GIA* Universal Stapling System; Versafire 	Multifire 30 disposable stapler with titanium staples; 	12mm; One size only.	Changed Product Group, Product Sub-Group.

Disposable surgical stapling instruments or cartridges.	Amended benefit.

AS052	Chemosite Implantable Venous Access System	Port - Single Lumen (ChemoSite*)	7-9 french; 10.5 french.	Changed Product Group, Product Sub-Group.

Amended benefit with $115.00 gap.

AS055	Mesh Polyproplene; Monofilament Polyproplylene.	Multifilament Polypropylene; Monofilament 	7.6cm x 12.7cm Surgipro* mesh (3 x 5 inch)	Changed Product Group, Product Sub-Group,

Polypropylene.	Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 16 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AS056	Mesh Polyproplene; Monofilament Polyproplylene.	Multifilament Polypropylene; Monofilament 	35.6cm x 22.9cm Surgipro* mesh (14 x 9 inch).	Changed Product Group, Product Sub-Group,

Polypropylene.	Suffix.

Amended benefit.

AS057	Mesh Polyproplene; Monofilament Polyproplylene.	Multifilament Polypropylene; Monofilament 	2.5cm x 10.2cm Surgipro* mesh (1 x 4 inch)	Changed Product Group, Product Sub-Group,

Polypropylene.	Suffix.

Amended benefit.

AS058	Mesh Polyproplene; Monofilament Polyproplylene; 	Multifilament Polypropylene; Monofilament 	15.3cm x 15.3cm Surgipro* mesh (6 x 6 inch); 	Changed Product Group, Product Sub-Group,

SURGIPRO* Non Absorbable Monofilament 	Polypropylene; SURGIPRO, Non-Asborbable 	SPMM46: 10.2cm x 15.3cm (4 x 6 inch).	Suffix.

Polypropylene Mesh.	Polypropylene Monofilament Mesh.	Amended benefit.

AS068	Surgipro Non Absorbable Polypropylene Hernia Mate 	Polypropylene	Medium and Large	Changed Product Group, Product Sub-Group,

Plug System 	Suffix.

Amended benefit.

AS072	Staples and Disposable Stapler Applier and staples; 	Titanium, curved, PPCEEA*; Titanium Surgical 	21-34mm; 21, 25, 28, 31, 34mm.	Changed Product Group, Product Sub-Group.

PPCEEA*.	Stapler.	Amended benefit.

AS073	ENDOCLIP*; Acuclip Single use Endoscopic Multiple 	Titanium Surgical Stapler	5mm (12 clips); One size only.	Changed Product Group, Product Sub-Group.

Clip Applier.	Amended benefit.

AS074	ENDOCLIP*	Titanium Surgical Stapler	10mm (ML, M, L)-(20 clips)	Changed Product Group, Product Sub-Group.

Amended benefit.

AS075	ENDO TA*	Titanium Surgical Stapler	30mm	Changed Product Group, Product Sub-Group.

Amended benefit with $171.00 gap.

AS076	ENDO TA* reloading unit	Titanium Surgical Stapler DLU	30mm -2.5, 30mm-3.5	Changed Product Group, Product Sub-Group.

Amended benefit.

AS077	ENDO GIA*	Titanium Surgical Stapler	30 - 35mm	Changed Product Group, Product Sub-Group.

Amended benefit with $180.00 gap.

AS081	ENDO GIA* reloading unit	Titanium Surgical Stapler DLU	30 - 35mm; 45mm; 60mm.	Changed Product Group, Product Sub-Group.

Amended benefit.

AS091	VERSA TACK* stapler	Titanium Surgical Stapler	4, 4.8mm (10 staples)	Changed Product Group, Product Sub-Group.

Amended benefit.

AS092	ENDO - Herna reloading unit; VERSA TACK* 	Titanium Surgical Stapler DLU	4mm, 4.8mm (10 staples).	Changed Product Group, Product Sub-Group.

reloading unit.	Amended benefit.

AS094	GIA*, ILA* Staplers	Titanium	80mm (3.8mm, 4.8mm)	Changed Product Group, Product Sub-Group.

Amended benefit.

AS095	STAT TACK*  and Endoscopic Tacker Device	STAT TACK*	One size only	Changed Product Group, Product Sub-Group.

Amended benefit.

AS102	DST Series* Linear Staplers	Titanium staples used for hemostatic closure of 	DST TA90-3.5; DST TA90-4.8	Changed Product Group, Product Sub-Group.

specific organs and blod vessels (ex bowel, stomach 	Amended benefit with $43.00 gap.

AS110	DFS Disposable Fascia Stapler	Stainless Steel	One Size Only	Changed Product Group, Product Sub-Group.

Amended benefit.

AS113	DST Series* GIA* Linear Cutter Stapler and single use	single use, reloadable stapler	60mm length: sizes 2.5mm, 3.8mm, 4.8mm	Changed Product Group, Product Sub-Group.

loading units	Amended benefit with $34.00 gap.

AS114	DST Series* GIA* Linear Cutter Stapler and single use	Single Use Loading Units	60mm length: Sizes 2.5mm, 3.8mm, 4.8mm	Changed Product Group, Product Sub-Group.

loading units	Amended benefit.

AS115	DST Series* GIA* Linear Cutter Stapler and single use	Single use, reloadable stapler	80mm length; Sizes 3.8 and 4.8mm	Changed Product Group, Product Sub-Group.

loading units	Amended benefit.

Changed Items for Prostheses List Report	Page 17 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

AS116	DST Series* GIA* Linear Cutter Stapler and single use	Single Use Loading Units	80mm length: Sizes 3.8 and 4.8mm	Changed Product Group, Product Sub-Group.

loading units	Amended benefit with $12.00 gap.

AS117	DST Series* GIA* Linear Cutter Stapler and single use	Single use, reloadable stapler	100mm length: Sizes 3.8 and 4.8mm	Changed Product Group, Product Sub-Group.

loading units	Amended benefit.

AS118	DST Series* GIA* Linear Cutter Stapler and single use	Single use loading units	100mm length: Size 3.8 and 4.8mm	Changed Product Group, Product Sub-Group.

loading units	Amended benefit.

AS119	DST Series* EEA* Circular Stapler	Circular staplers	21mm to 33mm	Changed Product Group, Product Sub-Group.

Amended benefit with $40.00 gap.

AS121	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene standard 	06 x 11cm, 15 x 10cm, 15 x 15cm	Changed Product Group, Product Sub-Group.

mesh / light mesh	Amended benefit.

AS122	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene standard 	20 x 20 cm	Changed Product Group, Product Sub-Group,

mesh / light mesh	Suffix.

Amended benefit.

AS123	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene standard 	30 X 30 cm, 30 x 32 cm	Changed Product Group, Product Sub-Group,

mesh / light mesh/ X-shaped mesh	Suffix.

Amended benefit with $21.00 gap.

AS124	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene mesh Plug 	06 x 12 cm	Changed Product Group, Product Sub-Group,

and Patch	Suffix.

Amended benefit with $78.00 gap.

AS125	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/ Bi-	13 x 09 cm, 15 x 10 cm, 15 x 15 cm	Changed Product Group, Product Sub-Group,

dimensional, Bi-dimensional Rigid, Three Dimensional	Suffix.

Amended benefit.

AS126	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Preshaped Mesh 	12 x 08 cm, 14x 09 cm, 13 x 09 cm	Changed Product Group, Product Sub-Group,

Three-dimensional/Easy Grip, with Slit	Suffix.

Amended benefit.

AS127	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard Mesh/ Bi-	20 x 20 cm, 30 x 30 cm	Changed Product Group, Product Sub-Group,

dimensional, Bi-dimensional Rigid, Three Dimensional	Suffix.

Amended benefit.

AS128	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Anatomical Mesh 	13 x 09 cm, 15 x 10 cm, 16 x 12cm	Changed Product Group, Product Sub-Group,

Standard / With Slit and Folding / With Slit and No 	Suffix.

Touch System	Amended benefit.

AS129	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Folding Mesh/ Bi-	14x 10 cm	Changed Product Group, Product Sub-Group,

dimensional with integrated Folding System/ With Slit	Suffix.

Amended benefit.

AS130	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh Plug	6 cm, 8 cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $58.00 gap.

AS131	Ligation Clips - Disposable clip applier and ligating clips	Surgiclip	Medium	Changed Product Group, Product Sub-Group.

Amended benefit.

AS132	Ligation Clips - Disposable clip applier and ligating clips	Surgiclip	Large	Changed Product Group, Product Sub-Group.

Amended benefit.

AS133	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable Surgical Stapler 	30mm (2.5, 3.5, 4.8mm);  DST TA45-3.5;  DST TA45-	Changed Product Group, Product Sub-Group.

and Loading Unit; Titanium staples used for hemostatic	4.8;  DST TA30-3.5;  DST TA30-4.8;  DST TA30V3.	Amended benefit with $50.00 gap.

closure of specific organs and blood vessels (ex

bowel, stomach and lung).

B Braun Australia Pty Ltd

Changed Items for Prostheses List Report	Page 18 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

General/Miscellaneous

BB082	Celsite Epoxy Single Access Port	Epoxy/titanium	Standard/small/baby	Changed Product Group, Product Sub-Group.

Amended benefit.

BB083	Celsite Epoxy Dual Access Port	Epoxy/titanium	Standard/small/baby	Changed Product Group, Product Sub-Group.

Amended benefit with $185.00 gap.

BB084	Celsite Single Access Port	MBS/PSU	Standard/small	Changed Product Group, Product Sub-Group.

Amended benefit.

BB086	Celsite Epoxy Peritoneal Port	Epoxy/titanium	32x27x13mm	Changed Product Group, Product Sub-Group.

Amended benefit with $75.00 gap.

BB088	Premilene Mesh	Polypropylene	2.5x10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB089	Premilene Mesh	Polypropylene	4.5x9.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB090	Premilene Mesh	Polypropylene	4.5x10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB091	Premilene Mesh	Polypropylene	5x10 cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB092	Premilene Mesh	Polypropylene	5x30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB093	Premilene Mesh	Polypropylene	6x12.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB094	Premilene Mesh	Polypropylene	6x13.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB095	Premilene Mesh	Polypropylene	7.5x7.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $8.00 gap.

BB096	Premilene Mesh	Polypropylene	7.5x12.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $13.00 gap.

BB097	Premilene Mesh	Polypropylene	7.5x15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB098	Premilene Mesh	Polypropylene	10x10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB099	Premilene Mesh	Polypropylene	10x12.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 19 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BB100	Premilene Mesh	Polypropylene	10x15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB101	Premilene Mesh	Polypropylene	15x15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $13.00 gap.

BB102	Premilene Mesh	Polypropylene	26x36cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $45.00 gap.

BB103	Premilene Mesh	Polypropylene	30x30cm	Changed Product Group, Product Sub-Group.

Amended benefit with $41.00 gap.

BB104	Premilene Mesh	Self Forming Plug	All sizes, small, medium, large	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $86.00 gap.

BB181	OPTILENE MESH	Polypropylene Mesh	5x30cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB182	OPTILENE MESH	Polypropylene Mesh	26x36cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $276.00 gap.

BB183	OPTILENE MESH	Polypropylene Mesh	7.5x7.5cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BB184	OPTILENE MESH	Polypropylene Mesh	15x15cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $64.00 gap.

BB185	OPTILENE MESH	Polypropylene Mesh	30x30cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $116.00 gap.

BB186	OPTILENE MESH	Polypropylene Mesh	5 x 10cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $60.00 gap.

BB187	OPTILENE MESH	Polypropylene Mesh	10 x 15cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $60.00 gap.

BB188	OPTILENE MESH	Polypropylene Mesh	4.5x10cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $49.00 gap.

BB189	OPTILENE MESH	 Polypropylene Mesh.	7.5 x 15cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $50.00 gap.

BB190	OPTILENE MESH	Polypropylene Mesh	4.5x10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $44.00 gap.

BB191	OPTILENE MESH	Polypropylene Mesh	6x14cm, 5 pieces	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $51.00 gap.

Changed Items for Prostheses List Report	Page 20 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BB192	Premilene Mesh	Premilene Nonabsorbable Polypropylene Surgical 	Self-Forming Plug-Small, 5 pieces	Changed Product Group, Product Sub-Group.

Suture Material Low Profile.	Amended benefit.

BB193	Premilene Mesh	Premilene Nonabsorbable Polypropylene Surgical 	Self-Forming Plug-Medium, 5 pieces	Changed Product Group, Product Sub-Group.

Suture Material Low Profile.	Amended benefit.

BB194	Premilene Mesh	Premilene Nonabsorbable Polypropylene Surgical 	Self-Forming Plug-Large, 5 pieces	Changed Product Group, Product Sub-Group.

Suture Material Low Profile.	Amended benefit.

BB195	OPTILENE MESH	Polypropylene Mesh	20 x 30cm, 5 pieces	Changed Product Group, Product Sub-Group.

Amended benefit.

Neurosurgical

BB001	Spine System Evolution	Hook Pin	Length 25 - 60mm	Changed Product Group, Product Sub-Group.

BB003	Spine System Evolution	Counter/angled/universal hook	Universal - short, long; Counter - small, medium; 	Changed Product Group, Product Sub-Group,

Angled - left, right	Suffix.

BB005	Spine System Evolution	Sacral Screw	Length 24 - 52mm	Changed Product Group, Product Sub-Group,

Suffix.

BB007	Spine System Evolution	Clamp for Cross Plate	For 5.2 and 6mm rods	Changed Product Group, Product Sub-Group,

Suffix.

BB009	Spine System Evolution	Rod Connector	For 5.2 and 6mm rods	Changed Product Group, Product Sub-Group,

Suffix.

BB011	Spine System Evolution	Screw	Dia 5 - 8mm, length 30 - 55mm	Changed Product Sub-Group, Suffix.

BB013	Spine System Evolution	Head for Polyaxial Screw	For 5.2 and 6mm rods	Changed Product Group, Product Sub-Group,

Suffix.

BB061	Socon Spinal System	Socon Transpedicular Screw	Length 35mm-65mm, Dia 5mm-7mm	Changed Product Sub-Group, Suffix.

BB066	Socon Spinal System	Cross Bar Clamp	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BB135	Aesculap Cervical System	Titanium, rigid	Medium 34 - 64mm length	Changed Product Sub-Group.

BB140	Aesculap Cervical System	Titanium, rigid	Large 67 - 103mm length	Changed Product Sub-Group.

BB153	Aesculap Cervical System	Titanium, rigid	Small 20 - 32mm Length	Changed Product Sub-Group.

BB158	Aesculap Cervical System	Titanium with locking mechanism	Dia 4 - 4.5mm, length 10 - 28mm	Changed Product Sub-Group, Suffix.

BB159	Bone Screw	MACS Polyaxial & Stabilisation, Titanium	Dia 6.5 - 7mm, length 30 - 50mm	Changed Suffix.

BB160	Bone Screw	HMA Polyaxial, Titanium	Dia 12mm, length 26 - 38mm	Changed Product Sub-Group, Suffix.

BB161	Bone Screw	HMA Monoaxial, Titanium	Dia 12mm, length 26 - 38mm	Changed Product Sub-Group, Suffix.

BB162	Bone Screw	MACS Locking, Titanium	Dia 12mm, length 4mm	Changed Product Group, Product Sub-Group,

Suffix.

BB163	Bone Screw	MACS Graft, Titanium	Dia 5mm, length 35mm	Changed Product Sub-Group, Suffix.

BB167	MACS Stabilisation Plates	Titanium, rigid	Length 45 - 100mm	Changed Product Sub-Group.

BB168	Craniofix	Titanium skull fixation clamp	20mm	Amended benefit.

BB174	MACS TL Bone Screws	Polyaxial screw - XL	30mm and 40mm	Changed Product Sub-Group, Suffix.

BB211	KLA Anterior Lumbar Cage System	Anterior Lumbar Cage - PEEK	9mm x 5 degrees, 11mm x 5 degrees, 13mm x 5 	Changed Suffix.

degrees, 11mm x 9 degrees, 13mm x 9 degrees,

15mm x 9 degrees, 13mm X 13 degrees, 15mm X 13

Changed Items for Prostheses List Report	Page 21 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BB212	CBK Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	4.5mm, 5.5mm, 6.2mm, 7mm, 8mm, 9mm	Changed Suffix.

BB217	Samarys Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	L15 x w17 x h5mm, L15 x w17 x h6mm, L15 x w17 x 	Changed Suffix.

h7mm, L15 x w17 x h8mm, L13 x w17 x h5mm, L13

x w17 x h6mm, L15 x w20 x h5mm, L15 x w20 x h6mm

BB224	S4 Spinal System	Polyaxial Screw - titanium various sizes	All sizes	Changed Suffix.

BB225	S4 Spinal System	Polyaxial Screw - Titanium various sizes	Diameter 6.0mm, 7.0mm & 8.0mm - all lengths 25 - 	Changed Suffix.

60mm

BB226	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 4.5mm & 5mm  - all lengths 25 - 60mm	Changed Suffix.

BB227	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 6.0mm, 7.0mm & 8.0mm - all lengths 25 - 	Changed Suffix.

60mm

BB248	PACH Plate	Titanium	28 & 32mm	Changed Product Sub-Group.

BB252	T. Lif Intervertebral Cage System	T.Lif PEEK Intervertebral Cage	All sizes	Changed Suffix.

BB278	Aesculap Interbody Cage	Interbody cage	All sizes	Changed Suffix.

BB288	Aesculap Vertebral Body System	Vertebral Body System, Titanium Alloy	All sizes	Changed Product Group, Product Sub-Group.

Orthopaedic

BB051	BRAUN AUST Intramedullary Nails	Compression Nail	100mmx10.5mm-610mmx12.5mm	Changed Product Group, Product Sub-Group.

BB052	BRAUN AUST Intramedullary Nails	Compression Screw	4.5mmx64mm-4.5mmx102mm	Changed Product Group, Product Sub-Group.

BB056	BRAUN AUST Intramedullary Nails	Fixation Screws	Dia 4.5mm-6mm,Length 20mm-96mm	Changed Product Group, Product Sub-Group.

BB057	BRAUN AUST Intramedullary Nails	Closure Screws	Length 8mm-10mm	Changed Product Group, Product Sub-Group.

BB059	BRAUN AUST Intramedullary Nails	Huckstep Fine Thread Screw	4.5mmx19mm-4.5mmx57mm	Changed Product Group, Product Sub-Group.

BB060	BRAUN AUST Intramedullary Nails	Isosorb Resorbable Fixation Pin	2mmx60mm-3.5mmx80mm	Changed Product Group, Product Sub-Group,

Suffix.

BB068	Caspar Screws	Stainless Steel	10mm-28mm	Changed Product Group, Product Sub-Group.

BB069	Caspar Screws	Titanium	10mm-28mm	Changed Product Group, Product Sub-Group.

BB071	Kirshner Wires all Sizes	Steel	Dia 0.8mm-3.0mm, Length 70mm-310mm	Changed Product Group, Product Sub-Group.

BB107	BRAUN AUST Intramedullary Nails	Nail for small bones	Dia 3mm-8mm	Changed Product Group, Product Sub-Group.

BB196	Emotion Total Knee System (TKS) Femoral 	Femoral Component, cemented, CoCr, Posterior 	F1 - F8, Left and Right	Changed Product Name, Description, Size.

Component 	stabilised	Amended benefit.

BB197	Emotion Unicondylar Knee System Uni Femoral 	Uni Femoral Component, cemented, CoCr, with 	F1 - F8, Left and Right	Changed Product Name, Description.

Component 	PMMA 	Amended benefit.

BB198	Emotion Total Knee System (TKS) Tibial Insert 	Tibial Insert, UHMWPE, mobile	T1 to T8 Size: 10 to 24mm	Changed Product Name, Description, Product

Sub-Group.

Amended benefit.

BB199	Emotion Total Knee System (TKS) Tibial Insert 	Tibial Insert, UHMWPE, mobile, posterior stabilised 	T1 to T8 Sizes: 10 to 24mm	Changed Product Name, Description.

with peg	Amended benefit.

BB200	Emotion Total Knee System (TKS) Tibial and Femoral	Tibial and femoral stems, CoCr, cemented or 	Short, D: 10mm to 16mm , Medium, D: 10mm to 	Changed Product Name, Description, Size.

Stems	uncemented	16mm, Long, D: 10mm to 16mm	Amended benefit.

BB201	Emotion Total Knee System (TKS) Tibial Baseplate 	Tibial baseplate, cemented, CoCr, with polished insert 	T1 to T8, left and right	Changed Product Name, Description.

surface for mobile insert 	Amended benefit.

Changed Items for Prostheses List Report	Page 22 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BB202	Emotion Total Knee System (TKS) Patellar 	All poly patellar, UHMWPE cemented, 3 pegs, onlay	P1 to P6, 26 - 41 x 7 - 12mm	Changed Product Name, Description.

Amended benefit.

BB203	Emotion Unicondylar Knee System Uni Tibial Insert  	Uni tibial insert, UHMWPE, fixed	F1 and F5, 7mm-11mm	Changed Product Name, Description, Size.

Amended benefit.

BB204	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial baseplate, cemented, CoCr for fixed insert	T1 to T5	Changed Product Name, Description, Product

Sub-Group, Suffix.

Amended benefit.

BB205	Columbus Total Knee System (TKS) Femoral 	Femoral component, cemented, CoCr	F1 - F7, Left and Right	Changed Product Name, Description.

Component 	Amended benefit.

BB206	Columbus Total Knee System (TKS) Femoral 	Femoral component, cemented, CoCr, posterior 	F1 - F7, Left and Right	Changed Product Name, Description.

Component 	stabilised	Amended benefit.

BB207	Columbus Total Knee System (TKS) Tibial Insert  	Tibial Insert, UHMWPE, fixed 	T1 - T5	Changed Product Name, Description, Product

Sub-Group.

Amended benefit.

BB208	Columbus Total Knee System (TKS) Patellar 	All poly patellar, UHMWPE cemented, 3 pegs, onlay	P1 - P4	Changed Product Name, Description.

Component 	Amended benefit.

BB209	Columbus Total Knee System (TKS) Tibial Insert  	Tibial Insert, UHMWPE, fixed, posterior stabilised 	T1 - T5	Changed Product Name, Description.

with included screw for fixation to baseplate	Amended benefit.

BB210	Columbus Total Knee System (TKS) Tibial Stems	Tibial Stem (cap), cemented or uncemented, short 	Small & Large D: 12mm & D: 14mm	Changed Product Name, Description, Size,

(mini) (obturator stem) CoCr, usually required when 	Product Sub-Group.

stem not used	Amended benefit with $533.00 gap.

BB231	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr for fixed insert	T1 - T5	Changed Product Name, Description, Product

Sub-Group, Suffix.

Amended benefit.

BB232	Emotion Total Knee System (TKS) Femoral 	Femoral Component, uncemented, CoCr Titanium 	F1 - F8, Left and Right	Changed Product Name, Description.

Component 	plasma spray (Plasmapore), HA coated	Amended benefit.

BB233	Emotion Total Knee System (TKS) Tibial Baseplate 	Tibial baseplate, uncemented, CoCr, Titanium plasma 	T1 - T8	Changed Product Name, Description.

spray (Plasmapore) with polished insert surface, HA 	Amended benefit.

coated for mobile insert

BB234	Columbus Total Knee System (TKS) Femoral 	Femoral Component, uncemented, CoCr, Titanium 	F1 - F7, Left and Right	Changed Product Name, Description, Product

Component 	plasma spray (Plasmapore)	Sub-Group.

Amended benefit.

BB235	Plasmacup Ceramic Insert	Biolox liner	26mm, 28mm, 32mm, 36mm	Changed Description.

BB236	Polyethylene Acetabular Cup	Unmodified Polyethylene	22.2mm-32mm articulations; 40mm-64mm diameters	Changed Description.

BB237	Plasmacup PE insert	UMHPE unmodified liner	44mm-68mm diameters, 22.2mm-32mm articulations	Changed Description.

BB239	BiContact Cementless	Femoral stem, grit blast and HA 	8-21	Changed Description.

BB240	BiContact cemented	Cemented stem cobal chrome	8-18	Changed Description, Product Sub-Group.

BB241	Emotion Total Knee System (TKS) Tibial Stem	Tibial Stem (cap), cemented or uncemented, short 	12mm, 14mm & 16mm in cemented and uncemented	Changed Product Name, Description, Size.

(mini) (obturator stem) CoCr, usually required when 	Amended benefit with $533.00 gap.

stem not used

BB242	Columbus Total Knee System (TKS) Tibial Stem	Tibial Stem, cemented or uncemented, CoCr	12mm & 14mm,  in uncemented, 12mm & 14mm in 	Changed Product Name, Description, Size.

cemented. 	Amended benefit.

BB243	Plasmacup	Titanium, plasma, HA	44mm-68mm	Changed Description, Product Sub-Group.

BB249	Bipolar Head	Bipolar shell plus liner	38 - 60mm	Changed Description.

Changed Items for Prostheses List Report	Page 23 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BB253	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr for mobile insert, 	T1- T5	Changed Product Name, Description, Size,

polished insert surface	Suffix.

Amended benefit.

BB254	Columbus Total Knee System (TKS) Tibial Baseplate 	Tibial Baseplate, uncemented,CoCr, Titanium plasma 	T1- T5	Changed Product Name, Description, Size,

spray (Plasmapore), polished insert surface for mobile	Suffix.

insert	Amended benefit.

BB255	Columbus Total Knee System (TKS) Tibial Insert  	Tibial Insert, UHMWPE, Mobile	T1- T5	Changed Product Name, Description, Size.

Amended benefit.

BB271	Aesculap Schanz Screw	Stainless steel	All sizes	Changed Product Group, Product Sub-Group.

BB272	HuckStep Hip System	Titanium, plasma coated femoral stem, short and 	Short and Standard length	Changed Description.

standard length, non HA

BB274	Excia Hip System	plasma titanium, HA	8mm-18mm	Changed Description.

BB275	Excia Hip System	Cemented stem cobalt chromium	9mm-18mm	Changed Product Sub-Group.

BB276	Excia Hip System	Distal Centraliser, PMMA	8mm-18mm	Changed Description.

BB295	Metha - modular short stem	Short stem, plasma, HA 	1 -6	Changed Description.

BB296	Metha - Modular neck adaptors	Modular neck adaptors made from CoCr  	CCD - 130°, 135 °, 140°; Offset  - 0mm, -5mm 	Changed Product Name, Description.

,+5mm; Version - 7.5° left ante/right retro, 0 °, 7.5 °

left retro/right ante

Vascular

BB170	Celsite Access Port for pain relief	Composition - polysulphone.  Kit includes tunnelling 	Diameter of septum:11.7mm.  Height: 11.5mm.  	Changed Product Sub-Group, Suffix.

rod, filter, connectors, needles, syringe, tuohy needle	Dimension: 25.8 x 37.8mm

Bard Australia Pty Ltd

General/Miscellaneous

BA046	The Bard Button Implantable Injection, Infusion Port	Silicone Replacement Gastrostomy Device	18 - 24 French 	Changed Product Group, Product Sub-Group.

Amended benefit.

BA047	Gastrostomy Tube	Silicone Tubes and Replacement Tubes	12 - 24 French	Changed Product Group, Product Sub-Group.

Amended benefit.

BA061	Bard Mesh 	PerFix Plug	Small, Medium, Large	Changed Product Group, Product Sub-Group.

Amended benefit.

BA062	Bard Mesh  	Visilex Laparoscopic mesh	3 x 6" & 4.5 x 6"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA063	Bard Mesh  	Composix Ventral mesh	10"x14"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA064	Bard Mesh  	Composix Ventral mesh	12"x12"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA065	Bard Mesh  	Composix Ventral mesh	2" x 4"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 24 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BA066	Bard Mesh  	Composix Ventral mesh	3" x 6"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA067	Bard Mesh  	Composix Ventral mesh	4" x 8"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA068	Bard Mesh  	Composix Ventral mesh	6" x 8"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA069	Bard Mesh  	Composix Ventral mesh	8" x 10"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA070	Bard Mesh  	Flat mesh	Small - 1" x 4" / 2" x 4" / 2" x 12" / 3 " x 6" / Pre-shaped	Changed Product Group, Product Sub-Group,

1.8" x 4" / Pre-shaped 2.4" x 5.4"	Suffix.

Amended benefit.

BA071	Bard Mesh  	3D Mesh 	Large Left	Changed Product Group, Product Sub-Group.

Amended benefit.

BA072	Bard Mesh  	3D Mesh 	Medium Left	Changed Product Group, Product Sub-Group.

Amended benefit.

BA073	Bard Mesh  	3D Mesh 	Large Right	Changed Product Group, Product Sub-Group.

Amended benefit.

BA074	Bard Mesh  	3D Mesh 	Medium Right	Changed Product Group, Product Sub-Group.

Amended benefit.

BA075	Gauderer Ponsky 20Fr PEG Kits and Tubes	Genie PEG/Button System and replacement tubes	20Fr	Changed Product Group, Product Sub-Group.

Amended benefit with $160.00 gap.

BA083	Bard Mesh  	Kugel Patch	Small Oval 8 x 12cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA084	Bard Mesh  	Kugel Patch	Large Oval 14 x 18cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA085	Bard Mesh  	Kugel Patch	Small Circle 8 x 8cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA086	Bard Mesh  	Kugel Patch	Large Circle 12 x 12cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $90.00 gap.

BA087	Bard Mesh  	Kugel Patch	Medium Oval 11 x 14cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA088	Memotherm Stents 	Colorectal, Nitinol, Self-expanding	25-30mm D, 60-100mm Length	Changed Product Group, Product Sub-Group.

Amended benefit.

BA096	Bard Composix Kugel Hernia Patch	Small Oval w/e PTFE	8 x 12 cms	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 25 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BA097	Bard Composix Kugel Hernia Patch	Medium Oval w/e PTFE	11 x 14 cms	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA098	Bard Composix Kugel Hernia Patch	Large Oval w/e PTFE	14 x 18 cms	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA099	Bard Composix Kugel Hernia Patch	Small Circle w/e PTFE	8 x 8cms	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $82.00 gap.

BA100	Bard Composix Kugel Hernia Patch	Large Circle w/e PTFE	12 x 12cms	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $25.00 gap.

BA101	Bard Composix E/X Mesh	Elliptical	4" x 6" (10 x 15cm)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $179.00 gap.

BA102	Bard Composix E/X Mesh	Elliptical	6" x 8" (15 x 20cm)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $174.00 gap.

BA103	Bard Composix E/X Mesh	Elliptical	7" x 9" (18 x 23cm)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA104	Bard Composix E/X Mesh	Elliptical	8" x 10" (20 x 25 cm)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $302.00 gap.

BA105	Bard Composix E/X Mesh	Elliptical	10" x 13" (25 x 33 cm)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA106	Bard Composix E/X Mesh	Rectangle	10" x 14" (25 x 36 cm)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $208.00 gap.

BA107	Bard Dulex Mesh	Oval Shaped	7.5 x 10 cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $259.00 gap.

BA108	Bard Dulex Mesh	Oval Shaped	8 x 12cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $253.00 gap.

BA109	Bard Dulex Mesh	Oval Shaped	10 x 15 cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $376.00 gap.

BA110	Bard Dulex Mesh	Oval Shaped	15 x 19 cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $367.00 gap.

BA111	Bard Dulex Mesh	Oval Shaped	18 x 24 cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $435.00 gap.

Changed Items for Prostheses List Report	Page 26 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BA112	Bard Dulex Mesh	Oval Shaped	20 x 30cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $655.00 gap.

BA113	Bard Dulex Mesh	Oval Shaped	26 x 34 cm, 1mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $606.00 gap.

BA114	Bard Dulex Mesh	Oval Shaped	10 x 15 cm, 2 mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $666.00 gap.

BA115	Bard Dulex Mesh	Oval Shaped	15 x 19 cm, 2 mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $709.00 gap.

BA116	Bard Dulex Mesh	Oval Shaped	18 x 24 cm, 2 mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $1,188.00 gap.

BA117	Bard Dulex Mesh	Oval Shaped	20 x 30 cm, 2 mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $1,395.00 gap.

BA118	Bard Dulex Mesh	Oval Shaped	26 x 34 cm, 2 mm thickness	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $1,675.00 gap.

BA119	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of 	12.5-7   2 cm x 6.25cm x 7mm	Changed Product Group, Suffix.

surgical bleeding	Amended benefit.

BA120	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of 	50   8cm x 6.25cm x 1cm	Changed Product Group, Suffix.

surgical bleeding	Amended benefit.

BA121	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of 	100   8cm x 12.5cm x 1cm	Changed Product Group, Suffix.

surgical bleeding	Amended benefit.

BA122	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of 	100/Thin   8cm x 12.5cm x 3mm	Changed Product Group, Suffix.

surgical bleeding	Amended benefit.

BA123	Avitene Ultrafoam	Hemostatic sponge applied directly to the source of 	200   8cm x 25cm x 1cm	Changed Product Group, Suffix.

surgical bleeding	Amended benefit.

BA124	Memotherm Biliary Stent	Nitinol. Includes deployment system	Sizes - Diameter 8 - 10mm, Length 40 - 100mm	Changed Product Group, Product Sub-Group.

Amended benefit.

BA127	Composix Kugel Hernia Patch	Extra large oval - w/e PTFE	20cm X 25cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $250.00 gap.

BA128	Composix Kugel Hernia Patch	Extra large oval - w/ePTFE	25cm X 33cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA131	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a self-	Extra Large Oval w/e PTFE 18cm x 23cm	Changed Product Group, Product Sub-Group,

expanding, non-absorbable, sterile prosthesis. Two 	Suffix.

layers of monofilament, polypropylene mesh are 	Amended benefit.

stitched to an ePTFE sheet; an extruded monofilament

PET polymer "ring" provides memory, adds stability

to the device.

Changed Items for Prostheses List Report	Page 27 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BA132	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a self-	7.5 cm (3") diameter	Changed Product Group, Product Sub-Group.

expanding, non-absorbable, sterile prosthesis.  It 	Amended benefit.

consists of two layers of monofilament, polypropylene

mesh; an extruded monofilament PET polymer "ring"

provides memory, adds stability to the device.  The

positioning strap facilitates placement, positioning and

suturing of the device.

BA133	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a self-	10 cm (4") diameter	Changed Product Group, Product Sub-Group,

expanding, non-absorbable, sterile prosthesis.  It 	Suffix.

consists of two layers of monofilament, polypropylene	Amended benefit with $75.00 gap.

mesh; an extruded monofilament PET polymer "ring"

provides memory, adds stability to the device.  The

positioning strap facilitates placement, positioning and

suturing of the device.

BA134	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a self-	11.5 cm (4.5") diameter	Changed Product Group, Product Sub-Group,

expanding, non-absorbable, sterile prosthesis.  It 	Suffix.

consists of two layers of monofilament, polypropylene	Amended benefit with $90.00 gap.

mesh; an extruded monofilament PET polymer "ring"

provides memory, adds stability to the device.  The

positioning strap facilitates placement, positioning and

suturing of the device.

BA135	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a self-	Oval w/e PTFE 16cm x 31.2cm	Changed Product Group, Product Sub-Group,

expanding, non-absorbable, sterile prosthesis. Two 	Suffix.

layers of monofilament, polypropylene mesh are 	Amended benefit.

stitched to an ePTFE sheet; an extruded monofilament

PET polymer "ring" provides memory, adds stability

to the device.

BA136	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, non-	4.3 cm x 4.3 cm (1.7" x 1.7")	Changed Product Group, Product Sub-Group,

absorbable, sterile prosthesis. Two layers of 	Suffix.

monofilament, polypropylene mesh are stitched to an 	Amended benefit.

ePTFE sheet; an extruded monofilament PET polymer

"ring" provides memory, adds stability to the device.

The positioning strap facilitates placement, positioning

and suturing of the device.

BA137	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, non-	6.4 cm x 6.4 cm (2.5" x  2.5")	Changed Product Group, Product Sub-Group,

absorbable, sterile prosthesis. Two layers of 	Suffix.

monofilament, polypropylene mesh are stitched to an 	Amended benefit.

ePTFE sheet; an extruded monofilament PET polymer

"ring" provides memory, adds stability to the device.

The positioning strap facilitates placement, positioning

and suturing of the device.

BA138	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile prosthesis 	Extra Large Left 5" x 7"	Changed Product Group, Product Sub-Group,

constructed of monofilament polypropylene mesh. 	Suffix.

3DMax mesh is a three-dimensional, anatomically 	Amended benefit.

formed prosthesis for use in laparoscopic hernia

BA139	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile prosthesis 	Extra Large Right 5" x 7"	Changed Product Group, Product Sub-Group,

constructed of monofilament polypropylene mesh. 	Suffix.

3DMax mesh is a three-dimensional, anatomically 	Amended benefit.

formed prosthesis for use in laparoscopic hernia

Changed Items for Prostheses List Report	Page 28 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BA157	Bard Mesh	Flat Mesh	Medium - 6" x 6"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $150.00 gap.

BA158	Bard Mesh	Flat Mesh	Large - 10" x 14"	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

BA160	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side and 	7cm x 6cm Small	Changed Product Group, Product Sub-Group,

ePTFE mesh on the other side	Suffix.

Amended benefit with $325.00 gap.

BA161	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side and 	11cm x 8cm Large	Changed Product Group, Product Sub-Group,

ePTFE mesh on the other side	Suffix.

Amended benefit with $357.00 gap.

BA162	Bard CK Parastomal Patch	Bard CK Parastomal Patch	12.5 x 15.5cm, 15.5 x 20.5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $170.00 gap.

BA163	X Port isp	Intermediate-sized MRI port with open-ended pre-	Port: Base 22.6 x 28.2mm.  Height: 11.7mm.  Weight: 	Changed Product Group, Product Sub-Group.

attached or attachable Hickman single lumen catheter	5.2g.  Catheter: 9.6Fr	Amended benefit with $155.00 gap.

BA164	X Port isp	Intermediate-sized MRI port with open-ended pre-	Port: Base 22.6 x 28.2mm.  Height: 11.7mm.  Weight: 	Changed Product Group, Product Sub-Group.

attached or attachable Chronoflex single lumen catheter	5.2g.  Catheter: 6 & 8Fr	Amended benefit with $155.00 gap.

BA165	X Port duo	Intermediate-sized MRI port with open-ended 	Port: Base 38.5 x 28.5mm, Height: 12.6mm, Weight: 	Changed Product Group, Product Sub-Group,

attachable Hickman dual lumen catheter	9.6g, Catheter: 10Fr	Suffix.

Amended benefit with $100.00 gap.

BA166	X Port duo	Intermediate-sized MRI port with open-ended 	Port: Base 38.5 x 28.5mm, Height 12.6mm, Weight: 	Changed Product Group, Product Sub-Group.

attachable Chronoflex dual lumen catheter	9.6g, Catheter: 9.5Fr	Amended benefit with $100.00 gap.

BA179	Bard Ventralex Hernia Patch	Bard Ventrlex Hernia Patch, Large	8cm x 8cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $210.00 gap.

Vascular

BA001	Memotherm Vascular Stents 	Memotherm nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 12 cm lengths	Changed Product Sub-Group, Suffix.

BA005	Encapsulated Carbon Lined Stent Graft	Iliac / SFA PTFE covered nitinol self-expanding stent	4mm - 10mm diameter, 3cm - 12cm length	Changed Product Sub-Group, Suffix.

BA009	Simon Filter Femoral - 2110F, Simon Filter Jugular - 	Nitinol self expanding vena cava filter - "Simon Nitinol	28mm Filter, 7Fr delivery	Changed Product Sub-Group, Suffix.

2210J, Simon Filter Anticubital - 2310A	 Filter"

BA010	Recovery Filter	Nitinol self expanding vena cava filter	28mm Filter, 7Fr delivery System	Changed Product Sub-Group, Suffix.

BA040	VitaCuff, Hickman Catheter 	Dialysis/Apheresis catheter, dual lumen, silicone	36-45cm overall length	Changed Product Sub-Group, Suffix.

BA048	VitaCuff, Broviac Catheters	Silicone, with VitaCuff	2.4 - 6.6 French Catheter	Changed Product Sub-Group, Suffix.

BA049	Broviac Catheters	Without VitaCuff, silicone	2.4 - 6.6 French Catheter	Changed Product Sub-Group, Suffix.

BA050	Hickman Catheters Single	Without VitaCuff, silicone  	7 - 14.4F French Catheter	Changed Product Sub-Group, Suffix.

BA051	Hickman Catheters Dual	Without VitaCuff, silicone  	7 -  9 French Catheter	Changed Product Sub-Group, Suffix.

BA052	Hickman Catheters Triple	Without VitaCuff, silicone  	13.5 French Catheter	Changed Product Sub-Group, Suffix.

BA053	Vitacuff, Hickman Single Lumen Catheters	Silicone, with VitaCuff  	7 - 14.4F French Catheter	Changed Product Sub-Group, Suffix.

BA054	Vitacuff, Hickman Dual Lumen Catheters	Silicone, with VitaCuff  	7 -  9 French Catheter	Changed Product Sub-Group, Suffix.

BA055	Vitacuff, Hickman Triple Catheters	Silicone, with VitaCuff  	13.5 French Catheter	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 29 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BA056	Subcutaneous Ports	Hickman open-ended catheter, single lumen 	8 - 9.6 French Catheter	Changed Product Sub-Group, Suffix.

BA057	Groshong Subcutaneous Ports	Single or dual lumen catheter	8 - 9.6 French Catheter	Changed Product Sub-Group, Suffix.

BA059	Dual Lumen Subcutaneous Ports	Silicone, Polyurethane or ChronoFlex Open-ended 	7 - 10 French Catheter	Changed Product Sub-Group, Suffix.

Catheter

BA060	Hickman Subcutaneous Ports	Low-Profile	6 - 6.6 French Catheter	Changed Product Sub-Group, Suffix.

BA125	Groshong Catheter	Single Lumen, Sizes 3fr-8fr Groshong Valved-Closed 	Single Lumen, sizes 3fr-8fr	Changed Product Sub-Group, Suffix.

ended catheter

BA126	Groshong Catheter	Single Lumen, Sizes 5fr-9.5fr Groshong Valved-Closed	Dual Lumen, sizes 5fr-9.5fr	Changed Product Sub-Group, Suffix.

ended catheter

BA129	Vascular Catheter	PICC - may include a Groshong Valved - Closed 	Single Lumen 3Fr - 6Fr	Changed Product Sub-Group, Suffix.

ended PICC, Single Lumen 3Fr-6Fr

BA130	Vascular Catheter	PICC- may include a Groshong Valved - Closed ended	Dual Lumen 4Fr - 7Fr	Changed Product Sub-Group, Suffix.

PICC, Single Lumen 4Fr-7Fr

BA140	HemoGlide Long Term Haemodialysis Catheter	Kit contents: 14.5fr catheter, 18g guidewire introducer 	15, 19, 23 & 27cm straight kit; 19 & 23cm Pre-curved 	Changed Product Sub-Group, Suffix.

needle, 0.038" 70cm J-wire guidewire, 15fr PTFE 	kit; 19, 24 & 28cm  and 31cm Pre-curved jugular kit.

introducer sheath, 8" tunnelling device, 10-12fr

dualator vessel dilator, 2 adhesive dressings, 2

injections caps, silicone attachable suture wing,

heparin label and instructions for use.

BA159	HemoSplit Long Term Haemodialysis catheter	HemoSplit is a carbothane long term dual lumen 	Standard Kit (straight15cm to42cm and pre-curved 	Changed Product Sub-Group, Suffix.

catheter used to provide vascular access for 	19cm to31cm), Microintroducer Kits (straight 19cm to

haemodialysis. It comprises of a double D lumen 	42cm & pre-curved 19cm to 31cm)

configuration catheter each lumen having an ID of

2.3mm) with a fixed split tip (to 7.5cmm) which

enables blood flow rates as high as 500mls/minute.

The catheter shaft has a tissue ingrowth cuff to assist

tissue anchoring.

BA167	Poly RadPICC Catheters	Single lumen open-ended Polyurethane	3, 4, 5Fr with 70cm guide wire	Changed Product Sub-Group, Suffix.

BA168	Poly RadPICC Catheters	Single Lumen open-ended Polyurethane	4, 5Fr with 135cm guide wire	Changed Product Sub-Group, Suffix.

BA169	Poly RadPICC Catheters	Double Lumen open-ended Polyurethane	4, 5, 6Fr with 70cm guide wire	Changed Product Sub-Group, Suffix.

BA170	Poly RadPICC Catheters	Double Lumen open-ended Polyurethane	5, 6Fr with 135cm guide wire	Changed Product Sub-Group, Suffix.

BA177	SlimPort Ultra Low Profile Implanted Port	Ultra SlimPort Low Profile Plastic/Titanium port with 	Port: 16.9 x 22.7mm (W) x 9.2mm (H); 2.9g Wt 6 Fr 	Changed Product Sub-Group, Suffix.

attachable Chronoflex® single lumen catheter	Catheter

BA178	Luminex Vascular Stent	Luminex nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 12cm lengths	Changed Product Sub-Group, Suffix.

Bausch & Lomb (Australia) Pty Ltd

Ophthalmic

BL001	Adato Sil-ol Silicone Oil (various viscosities)	Adato Sil-Ol Silicone Oil 1000	10mL	Changed Product Group, Product Sub-Group.

BL002	Adato Sil-ol Silicone Oil (various viscosities)	Adato Sil-Ol Silicone Oil 5000	10mL	Changed Product Group, Product Sub-Group.

BL003	Adeto Deca (various)	Adato Deca Perfluorodecacarbon	5mL	Changed Product Group, Product Sub-Group.

BL004	Adato Octa	Adato Octa Perfluorooctacarbon	5mL	Changed Product Group, Product Sub-Group.

BL008	Ocucoat Intraocular Fluid	20mg/mL hydroxypropylmethyl cellulose for 	1mL sterile	Changed Product Group, Product Sub-Group.

intraocular use

Changed Items for Prostheses List Report	Page 30 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BL011	Storz E5381 Silicone Strip	Silicone Sleeve	1.65mm to 2.2mm diameter, length 6.1mm to 30mm	Changed Product Group, Product Sub-Group.

BL012	Storz E5395 3 Cylindrical Sponge Implant	Retinal Fixation Device	2.3mm x 2.5mm x 80mm, to 7.5mm x 7.5mm x 100mm	Changed Product Group, Product Sub-Group.

BL013	Storz E5381 Silicone Strip	Silicone Tire	Outside diameter 30.2m to 33.6mm, inner diameter 	Changed Product Group, Product Sub-Group.

26mm, overall length 10.4mm to 125mm

BL014	Storz E5381 Silicone Strip	Circling Band	Overall length 10.4mm to 125mm	Changed Product Group, Product Sub-Group.

BL015	Amvisc Plus injection	15mg/mL Sodium Hyaluronate for intraocular use	0.5mL and 0.8mL	Changed Product Group, Product Sub-Group,

Suffix.

BL016	Oxane LMWC Fractioned Silicone Oil	Purified fractioned silicone oil	10mL	Changed Product Group, Product Sub-Group.

BL017	Perfluo-octane (Oktaline) Okta-Line	Perfluorocarbon Liquid  for use as a retinal surgery 	5mL	Changed Product Group, Product Sub-Group.

additive

BL018	DK Line 100% purified perfluorodecalin	Perfluorodecalin	7ml	Changed Product Group, Product Sub-Group.

BL024	Oxane HD	Silicone oil - RMN3 mixture	10ml	Changed Product Group, Product Sub-Group.

Baxter Healthcare Pty Ltd

General/Miscellaneous

BX214	TISSEEL Duo 500 Two Component Fibrin Sealant 	Active ingedients:Sealer Protein Solution & Thrombin 	1.0 ml (containing 1.0 ml of Sealer Protein Solution 	Changed Product Group, Product Sub-Group,

Syringe	Solution - deep-frozen, steam treated	and 1.0 ml of Thrombin Solution)	Suffix.

Amended benefit.

BX215	TISSEEL Duo 500 Two Component Fibrin Sealant 	Active ingedients:Sealer Protein Solution & Thrombin 	2.0 ml (containing 2.0 ml of Sealer Protein Solution 	Changed Product Group, Product Sub-Group,

Syringe	Solution - deep-frozen, steam treated	and 2.0 ml of Thrombin Solution)	Suffix.

Amended benefit.

BX216	TISSEEL Duo 500 Two Component Fibrin Sealant 	Active ingedients:Sealer Protein Solution & Thrombin 	5.0 ml (containing 5.0 ml of Sealer Protein Solution 	Changed Product Group, Product Sub-Group,

Syringe	Solution - deep-frozen, steam treated	and 5.0 ml of Thrombin Solution)	Suffix.

Amended benefit with $362.00 gap.

BX245	Patient Control Module	Sterile infusor devices, spring or elastomer driven	Module 0.5ml dose, Module 2 ml dose	Changed Product Group, Product Sub-Group.

Amended benefit.

BX246	Infusor	Sterile infusor devices, spring or elastomer driven	SV Half day, 5ml/hr, 60ml vol. LV 10, 10ml/hr, 240ml	Changed Product Group, Product Sub-Group.

vol. SV Single day, 2ml/hr, 48ml vol. LV 5, 5ml/hr, 	Amended benefit.

240ml vol.

BX247	Intermate	Sterile infusor devices, spring or elastomeric driven	SV 200 - 200ml/hr, 100ml vol. SV 100 - 100ml/hr, 	Changed Product Group, Product Sub-Group.

100ml vol. LV 250, 250ml/hr, 275ml vol. SV 50 - 	Amended benefit.

50ml/hr, 100ml vol.  LV 100  - 100ml/hr, 275ml vol.

LV 50, 50ml/hr, 275ml vol

BX248	Infusor	Sterile infusor devices, spring or elastomer driven	LV 2, 2ml/hr, 275 ml vol; LV 1.5, 1.5ml/hr, 275ml vol; 	Changed Product Group, Product Sub-Group.

SV Multi day, 0.5ml/hr. 60ml vol; SV Seven day, 	Amended benefit.

0.5ml/hr, 96ml vol

BX249	Multirate with PCM	Sterile infusor devices, spring or elastomer driven	Multirate 5, 7 or 12 ml/hr with PCM	Changed Product Group, Product Sub-Group.

Amended benefit.

BX250	Basal/Bolus and Multirate Infusors	Sterile infusor devices, spring or elastomer driven	Basal/Bolus 60, Basal 0.5ml/hr, Bolus 0.5ml/hr x 65ml; 	Changed Product Group, Product Sub-Group.

Basal/Bolus 15, Basal 0.5ml/hr, Bolus 2ml/hr x 65ml; 	Amended benefit.

Basal/Bolus infusor, Basal 2ml/hr, Bolus 2ml/hr x 65ml;

Multirate 5, 7 or 12 ml/hr x 300 ml; Multirate 2, 4, or 6

ml/hr x 300 ml; Multirate 2, 3, or 5 ml/hr x 300 ml;

Multirate 1, 2 or 3 ml/hr x 100 ml

Changed Items for Prostheses List Report	Page 31 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BX252	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols 	2ml	Changed Product Group, Product Sub-Group,

(PEG's), COH102 and COH206, premixed and filled 	Suffix.

into one syringe, a dilute hydrogen chloride solution 	Amended benefit.

and a sodium phosphate/sodium carbonate solution

BX253	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols 	4ml	Changed Product Group, Product Sub-Group,

(PEG's), COH102 and COH206, premixed and filled 	Suffix.

into a syringe, a dilute hydrogen chloride solution and 	Amended benefit.

a sodium phosphate sodium carbonate solution

BX254	CoSeal Surgical Sealant	Composition: two synthetic polyethelene glycols 	8ml	Changed Product Group, Product Sub-Group,

(PEG's), COH102 and COH206, premixed and filled 	Suffix.

into a syringe, a dilute hydrogen chloride solution and 	Amended benefit.

a sodium phosphate sodium carbonate solution

Biomet Australia Pty Ltd

General/Miscellaneous

BI280	Septopal Chain Septopal Beads	PMMA, Stainless Steel	30 bead chain	Changed Product Group, Product Sub-Group.

Amended benefit with $175.00 gap.

Orthopaedic

BI005	Re-Unite Orthopaedic System	Rotator Cuff Butress, Lactosorb; PGA/PLA	One size only	Changed Product Group, Product Sub-Group.

BI012	Re-Unite Orthopaedic System	Pop-Rivet - PGA/PLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI015	Reach Revision Hip System	Titanium, Cobal Chrome, non HA	Proximal Body #1-6	Changed Description, Product Sub-Group.

BI016	IBP Elbow	Cemented, UHMWPE, Titanium, Cobalt Chrome	Small Standard, Large, Xlarge 	Changed Product Group.

BI017	Kudo Elbow	Humeral Component, Cemented , Cobalt Chrome	Small, Large	Changed Product Group, Suffix.

BI018	Kudo Elbow	Ulnar Component, Cemented, Titanium	Small, Large 	Changed Product Group, Suffix.

BI019	Kudo Elbow	Humeral Component, Uncemented, Cobalt Chrome	Small, Large 	Changed Product Group, Suffix.

BI020	Kudo Elbow	Ulnar Component, Uncemented, Titanium	Small, Large 	Changed Product Group, Suffix.

BI021	Total Toe System	Metatarsal Component UHMWPE, Titanium	Small, Medium, Large Extra Large.	Changed Product Group, Product Sub-Group.

BI022	Toe Joint Replacement	Phalangeal Component, Titanium	Small, Medium, Large Extra Large. 	Changed Product Group, Product Sub-Group.

BI023	Endobon Pins 	Cylinder, Hydroxyapatite	13-16mm	Changed Product Group, Product Sub-Group.

BI024	Bone Cement Endobon Bone Substitute Material 	Cylinder, Hydroxyapatite	9-12mm	Changed Product Group, Product Sub-Group.

BI025	Bone Cement Endobon Bone Substitute Material 	Granules, Hydroxyapatite	Type I or Type II	Changed Product Group, Product Sub-Group.

BI026	Bone Cement Endobon Bone Substitute Material 	Block, Hydroxyapatite	5x5x10, 12.5x12.5x10, 20x20x10	Changed Product Group, Product Sub-Group.

BI031	Oxford Meniscal Knee System Uni Femoral 	Uni Femoral Component, CoCr, Cemented (Phase III)	Small, Medium, Large, Extra Large.	Changed Product Name, Description.

Component 	Amended benefit with $516.00 gap.

BI032	Oxford Meniscal Knee System Uni Tibial Insert 	Uni Tibial Insert, mobile bearing, UHMWPE	Small Standard, Large, Xlarge, sizes 3-9 	Changed Product Name, Description.

Amended benefit.

BI033	Oxford Meniscal Knee System Uni Tibial Baseplate 	Uni Tibial Baseplate, cemented, polished insert 	(38-53mm) x sizes 26-34	Changed Product Name, Description.

surface, for mobile insert (Phase III) 	Amended benefit.

BI036	Rx90 Hip System	 Femoral Stem, Chrome Cobalt, Cemented unpolished 	9-17mm	Changed Description.

BI038	Rx90 Hip System	Acetabular shell, Titanium Alloy, plasma, non HA	40-70mm	Changed Description.

Changed Items for Prostheses List Report	Page 32 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI039	Integral Hip System	 Femoral Stem, Chrome Cobalt, Cemented unpolished 	9-17mm	Changed Description.

BI040	Integral Hip System	Titanium Alloy, Plasma,  non HA	Length from 125mm to 175mm,  9-19mm	Changed Description.

BI041	Integral Hip System	Titanium Alloy, plasma, not HA, long	Length from 180mm to 225mm, 9-20mm	Changed Description, Product Sub-Group.

BI045	Scientific Hip Prostheses System	Head, Chrome Cobalt, metal on metal	28mm, -6mm to +12mm	Changed Description.

BI047	Hip Fracture System	 Femoral Stem, Chrome Cobalt, Cemented unpolished 	8-16mm	Changed Description.

BI048	Balance Hip System	Titanium, plasma non HA	7 - 18mm	Changed Description.

BI049	Bi-Metric Hip System	Titanium, plasma non HA	7-17mm	Changed Description.

BI050	Bi-Metric Hip System	Titanium unpolished cemented 	7-17mm	Changed Description.

BI051	Bi-Metric Hip System	Head Neck calcar Femoral Stem, Chrome Cobalt, 	9-15mm 	Changed Description, Suffix.

Cemented, unpolished 200 and 250 lengths

BI052	Bi-Metric Hip System	Revision 200 Stem, Titanium, plasma non HA	9-17mm	Changed Description.

BI053	Bi-Metric Hip System	Revision 250 Stem, Titanium,  plasma, non HA	9-17mm	Changed Description.

BI054	Bi-Metric Hip System	Revision 300mm Femoral  Stem, Titanium, plasma 	9-17mm	Changed Description.

non HA

BI055	M2A taper 	Metal on Metal Acetabular Shell, Titanium	46 - 70mm	Changed Product Name.

BI056	M2A Femoral Head 	Metal on Metal head, Chrome Cobalt	28mm -6mm to +12mm	Changed Product Name.

BI057	M2A taper 	Metal Acetabular Insert, Chrome Cobalt	Standard	Changed Product Name, Product Sub-Group.

BI058	Modular Ceramic System	Ceramic Head, Aluminium Alloy, biolox forte	28-32mm -6mm to +12mm	Changed Description.

BI063	Bimetric Hip System	  Chrome Cobalt Cemented, unpolished	7-17mm	Changed Description.

BI064	Bioclad Hip System	Acetabular Cup, unmodified UHMWPE	22,28,32mm, size 39-69mm	Changed Description, Product Sub-Group.

BI066	Stanmore Total Hip System	polished Femoral Stem - Standard and Straight, 	Size 1-5 	Changed Description.

Chrome Cobalt

BI067	Stanmore Total Hip System	Acetabular Cup, unmodified UHMWPE	25-32mm x size 40-53mm	Changed Description, Product Sub-Group.

BI068	Stanmore Total Hip System	Head, Chrome Cobalt, metal on metal 	28mm, -6mm to +12mm	Changed Description.

BI069	Biomet Taperloc Hip System	Titianium unpolished 	7.5mm to 20mm diameter	Changed Description.

BI070	Biomet Taperloc Hip System	Head, Chrome Cobalt, metal on metal 	28mm, -6 to +12mm	Changed Description.

BI072	Modular Calcar Mallory Head Revision Hip System	Femoral stem, titanium, grit blast, non HA	14mm to 20mm	Changed Description.

BI073	Modular Ceramic System	Acetabular Ceramic/ Polyethylene Liner, UHMWPE	28mm, 32mm, -6 to +12mm	Changed Suffix.

BI074	Biomet Taperloc Hip System	Titanium, plasma non HA	7.5mm - 22.5mm	Changed Description.

BI075	Biomet Taperloc Hip System	titanium, plasma, HA	7.5mm - 22.5mm	Changed Description.

BI081	Impact Modular Total Hip System	Grit Blast non HA	10-15mm Diameter	Changed Description.

BI082	Impact Modular Total Hip System	Femoral body, plasma, Titanium, non HA 	Size 1-6 x Small/Medium	Changed Description.

BI086	Impact Modular Total Hip System	Femoral body, Titanium, grit blast, non HA	Size 3-6 Small/Medium	Changed Description.

BI089	Hap Impact Stem (Various)	Femoral body, Titanium, plasma,  HA	Size 3-6, Small/Medium 	Changed Description.

BI091	Kasselt Acetabular Cup System constrained	Acetabular Cup, unmodified UHMWPE	46-70mm	Changed Product Name, Description.

BI096	Tripolar Acetabular Cup Series	Ringloc Series shell, UHMWPE liner and Chrome 	24-28mm	Changed Description.

Cobalt head

Changed Items for Prostheses List Report	Page 33 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI097	Kent Hip System	Titanium, grit blast, non HA, distal screw holes 	Narrow, Std.  Size 6 - 16 hole 	Changed Description.

BI100	Bi Hapro Hip System	Cobal Chrome, Plasma and HA	Size 1 to 8 	Changed Description.

BI101	Bi Hapro Hip System	Acetabular Shell, Titanium, plasma, HA	46mm to 70mm	Changed Description.

BI106	Mallory Head Hip System	Acetabular Liner, UHMWPE, modified 	22 - 36mm, Sizes 21 to 28	Changed Description.

BI110	Mallory Head Hip System	Acetabular Shell	40-80mm	Changed Description.

BI111	Mallory Head Hip System	Acetabular shell, Titanium Alloy, plasma, non HA	40-80mm	Changed Description.

BI112	Mallory Head Hip System	Acetabular shell, solid, plasma, HA	40-80mm	Changed Description.

BI118	Mallory Head Hip System	Femoral Stem,  Titanium, plasma, no HA	220mm, Size 9-19mm	Changed Description, Suffix.

BI120	Mallory Head Hip System	Femoral Stem, titanium plasma HA  	220mm, Size 9-19mm	Changed Description.

BI126	Modular Calcar Mallory Head Revision Hip System	Femoral body, Titanium, plasma, non HA	34, 45, 55 resection levels x size a,b,c,d,e 	Changed Description, Suffix.

BI128	Modular Calcar Mallory Head Revision Hip System	Femoral body, Titanium, plasma, HA, Calcar	34, 45, 55 resection levels x size a,b,c,d,e 	Changed Description, Suffix.

BI129	Mallory Head Hip System	Acetabular shell, UHMWPE	40-80mm	Changed Description.

BI131	Mallory Head Hip System	Femoral Centraliser, UHMWPE	9-17mm	Changed Description.

BI132	Mallory Head Hip System	 Cobalt Chrome, Unpolished	7-19mm	Changed Description.

BI134	Mallory Head Hip System	Femoral Modular Head, Chrome Cobalt, metal on 	28 to 38mm -6 to +12mm	Changed Description, Product Sub-Group.

BI139	Mallory Head Hip System	Titanium, plasma 	7-19mm x 135 -180mm 	Changed Description.

BI141	Mallory Head Hip System	Titanium, plasma and HA	7-19mm 	Changed Description.

BI143	Compression Screw Set	Supracondylar Plate, Stainless Steel	6-14 hole	Changed Product Group, Product Sub-Group,

Suffix.

BI147	AGC System femoral component 	Femoral Component, cemented, CoCr, left and right 	55-80mm	Changed Product Name, Description.

sided (anatomic)	Amended benefit with $383.00 gap.

BI149	AGC Total Knee System Tibial Insert 	Tibial Insert 'Tradition' fixed, UHMWPE with locking 	59-91mm	Changed Product Name, Description.

pin 	Amended benefit with $88.00 gap.

BI150	AGC System femoral component 	Femoral Component, cemented, CoCr, left and right 	55 to 80mm	Changed Product Name, Description.

sided (anatomic), posterior stabilised 	Amended benefit.

BI152	AGC System femoral component 	Femoral Component, cemented, CoCr, unsided 	55-80mm	Changed Product Name, Description.

(universal)	Amended benefit with $110.00 gap.

BI153	AGC Knee System Tibial  Baseplate 	Tibial baseplate, CoCr,  Moulded, V2 (version 2), 	63-91mm	Changed Product Name, Description.

UHMWPE, cemented	Amended benefit.

BI158	AGC System femoral component 	Femoral Component, cemented, CoCr, unsided 	55-80mm	Changed Product Name, Description.

(universal), posterior stabilised 	Amended benefit.

BI159	AGC System femoral component 	Femoral Component, uncemented, CoCr with titanium 	55-80mm	Changed Product Name, Description.

plasma sprayed surface (Porous plasma spray PPS) 	Amended benefit with $310.00 gap.

left and right sided (anatomic),

BI165	AGC System femoral component 	Femoral Component, uncemented, CoCr with titanium 	55-80mm	Changed Product Name, Description.

plasma sprayed surface (Porous plasma spray PPS) 	Amended benefit.

left and right sided (anatomic), posterior stabilised

BI167	Maxim Complete Knee System Femoral Component 	Femoral Component,   uncemented, CoCr with 	55-80mm	Changed Product Name, Description.

titanium plasma sprayed surface (Porous plasma 	Amended benefit with $310.00 gap.

spray PPS)

Changed Items for Prostheses List Report	Page 34 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI168	Maxim Complete Knee System Femoral Component 	Femoral Component,   Cemented, CoCr 	55-80mm	Changed Product Name, Description.

Amended benefit with $380.00 gap.

BI169	Biomet Universal Tibial Baseplate 	Tibial baseplate, Cemented, Titanium, which allows 	59-91mm	Changed Product Name, Description, Suffix.

for attachmnet of a variety of different stems and for 	Amended benefit.

fixed inserts

BI170	Maxim Complete Knee System Tibial Baseplate 	Tibial baseplate, uncemented, Titanium plasma 	59-91mm	Changed Product Name, Description.

sprayed surface (Porous plasma spray PPS)	Amended benefit with $160.00 gap.

BI171	Maxim Complete Knee System Femoral and Tibial 	Femoral and Tibial Stems, Titanium, curved and 	40mm 80mm	Changed Product Name, Description.

Stems 	straight, cemented 	Amended benefit with $50.00 gap.

BI172	Maxim Complete Knee System Tibial Insert  	Tibial Insert,  UHMWPE, fixed with locking pin 	59-91mm	Changed Product Name, Description.

Amended benefit with $80.00 gap.

BI173	Maxim Complete Knee System Tibial Locking Bar	Insert locking pin, Titanium	One size only	Changed Product Name, Description.

Amended benefit.

BI174	Maxim Complete Knee System Femoral Component 	Femoral Component,   uncemented, CoCr with 	55-80mm	Changed Product Name, Description.

titanium plasma sprayed surface (Porous plasma 	Amended benefit with $90.00 gap.

spray PPS), posterior stabilised

BI176	Biomet Universal Patellar component	All poly Patella, cemented, UHMWPE, domed  	size 25 to 37mm	Changed Product Name, Description.

Amended benefit.

BI177	Biomet Universal Stemmed Tibial Component 	Tibial Baseplate, titanium, cemented	59-91mm	Changed Product Name, Description.

Amended benefit.

BI178	Maxim Complete Knee System Femoral Component 	Femoral Component, Cemented, CoCr,  Posterior 	55-80mm	Changed Product Name, Description.

Stabilised 	Amended benefit with $150.00 gap.

BI179	Maxim Complete Knee System Tibial Insert  	Tibial Insert,  UHMWPE, fixed with locking pin, 	59-91mm	Changed Product Name, Description.

posterior stabilised with peg 	Amended benefit with $306.00 gap.

BI180	Maxim Complete Knee System Femoral Component 	Femoral Component, Cemented, CoCr,  totally 	60-75mm	Changed Product Name, Description.

constrained  	Amended benefit with $2,740.00 gap.

BI181	Maxim Complete Knee System Tibial Insert  	Tibial Insert,  UHMWPE, fixed with locking pin, 	59-91mm	Changed Product Name, Description.

Totally constrained with peg 	Amended benefit with $424.00 gap.

BI182	Biomet Universal Tibial Baseplate 	Tibial baseplate, Cemented, Titanium, with extended 	59-91mm	Changed Product Name, Description, Suffix.

stem connector that allows for attachment of a variety 	Amended benefit.

of different stems and for fixed inserts

BI183	Maxim Complete Knee System Femoral and Tibial 	Tibial and femoral half wedges and half blocks, Titanium	55-80mm	Changed Product Name, Description.

Augments 	Amended benefit with $56.00 gap.

BI184	Biomet Universal Tibial and femoral stems 	Tibial and Femoral Stems, Titanium, curved and 	55-80mm	Changed Product Name, Description.

straight, cemented

BI186	Maxim Complete Knee System Tibial Baseplate 	Tibial baseplate, uncemented, Titanium plasma 	59 - 91mm	Changed Product Name, Description.

sprayed surface (Porous plasma spray PPS) with HA	Amended benefit with $146.00 gap.

BI194	Rotating Platform Knee System	Patella Button, UHMWPE, Chrome Cobalt	Size 25 to 37mm	Amended benefit.

BI195	Vanguard Rotating Platform Femoral Component	Femoral Component, Cemented, CoCr, Posterior 	60-75mm	Changed Product Name, Description.

Stabilised	Amended benefit with $157.00 gap.

BI196	Vanguard Rotating Platform Tibial Baseplate 	Tibial Baseplate Chrome Cobalt	63-87mm	Changed Product Name, Description.

Amended benefit with $501.00 gap.

BI197	Rotating Platform Knee System	Tibial Bearing, UHMWPE	60-75mm	Amended benefit with $250.00 gap.

BI201	AGC Dual Articular  knee System femoral 	Femoral Component, cemented, CoCr, Totally 	55 - 75mm	Changed Product Name, Description.

constrained	Amended benefit.

Changed Items for Prostheses List Report	Page 35 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI202	Repicci II Unicondylar Knee System Uni Tibial 	Uni tibial Component, all poly  Cemented, UHMWPE	32-42mm	Changed Product Name, Description.

component 	Amended benefit.

BI203	Repicci II Unicondylar Knee System Uni femoral 	Uni Femoral Component, Cemented, CoCr 	45-60mm	Changed Product Name, Description.

component 	Amended benefit with $600.00 gap.

BI204	Repicci II Unicondylar Knee System Uni Tibial 	Uni Tibial baseplate,  Cemented, Titanium, for fixed 	Std, Large, Xlarge	Changed Product Name, Description.

baseplate  	insert 	Amended benefit.

BI205	Repicci II Unicondylar Knee System Uni tibial insert 	Uni Tibial insert, fixed , UHMWPE	Std, Large, Xlarge	Changed Product Name, Description.

Amended benefit.

BI206	Arthrotek Ligament Fixation System	 Screw and washer. Ti	Washer 14 - 18mm, Screw 24 - 60mm,	Changed Description, Size, Product Group,

Product Sub-Group.

BI207	Bi-Angular Shoulder System	Humeral Prostheses, Titanium	6.5mm-14mm	Changed Product Group, Product Sub-Group.

BI208	Bi-Angular Shoulder System	Bi Polar Shell, Titanium/ UHMWPE/Chrome Cobalt	Size 40-60mm	Changed Product Group, Product Sub-Group,

Suffix.

BI209	Bi-Angular Shoulder System	Bi Polar Head, Chrome Cobalt	Std to +4mm	Changed Product Group, Product Sub-Group,

Suffix.

BI210	Bi-Angular Shoulder System	Glenoid Metal backed. UHMWPE, Titanium	Small Medium Large x 4 or 7mm	Changed Product Group, Product Sub-Group,

Suffix.

BI211	Bi-Angular Shoulder System	Glenoid, UHMWPE	Small Medium Large x 4 or 7mm	Changed Product Group, Product Sub-Group.

BI212	Bi-Angular Shoulder System	Humeral Head, Chrome Cobalt	40-52mm	Changed Product Group, Product Sub-Group.

BI214	Bio-Modular Shoulder System	Bi-Polar shell/ Titanium, chrome Cobalt	40-60mm	Changed Product Group, Product Sub-Group,

Suffix.

BI215	Bio-Modular Shoulder System	Humeral Head, Chrome Cobalt	40-54mm	Changed Product Group, Product Sub-Group.

BI216	Bio-Modular Shoulder System	Humeral Stem, titanium	6-15mm	Changed Product Group, Product Sub-Group.

BI217	Bio-Modular Shoulder System	Glenoid Component, Cemented, Titanium/UHMWPE	Small, Medium, Large x 4 or 7mm	Changed Product Group.

BI218	Bio-Modular Shoulder System	Modular Head, Chrome Cobalt	Std, +2, +4mm	Changed Product Group, Product Sub-Group.

BI219	Bio-Modular Shoulder System	Glenoid Liner Noncemented, UHMWPE	Low Profile	Changed Product Group, Product Sub-Group.

BI220	Bio-Modular Shoulder System	Glenoid Screw	5mm x (15-40mm)	Changed Product Group, Product Sub-Group.

BI221	Bio-Modular Shoulder System	Glenoid Shell, Titanium	Low Profile	Changed Product Group, Product Sub-Group.

BI222	Bio-Modular Shoulder System	Shoulder Offset Head, Chrome Cobalt	40-54mm	Changed Product Group, Product Sub-Group,

Suffix.

BI223	Nottingham Shoulder System	Humeral Stem, Chrome Cobalt, Titanium	6-12mm	Changed Product Group, Product Sub-Group.

BI224	Nottingham Shoulder System	Humeral Head, Chrome Cobalt	Std +2, +4mm 	Changed Product Group, Product Sub-Group.

BI225	Nottingham Shoulder System	Glenoid Tray, Chrome Cobalt	Size 3, 4, 5. 	Changed Product Group, Product Sub-Group.

BI226	Nottingham Shoulder System	Glenoid Bearing, UHMWPE	Size 3, 4, 5.	Changed Product Group, Product Sub-Group.

BI232	Moore Pins	Scan Pin, Stainless Steel	16mm x 51-152mm	Changed Product Group, Product Sub-Group.

BI233	Arthrotek Ligament Fixation System	Suture Button, HMWPE	15mm, 19mm	Changed Product Group, Product Sub-Group,

Suffix.

BI239	Arthrotek Ligament Fixation System	Interference Screw, Titanium	15-30mm	Changed Product Group, Product Sub-Group.

BI241	Gentle Threads Ligament Fixation Screws	Screw, Graft Interference, PGA/PLA	7mm, 8mm, 9mm, 10mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 36 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI242	Biomet Plus Bone Cement	Bone Cement, PMMA	40gm	Changed Product Group, Product Sub-Group.

BI243	Refobacin Plus Bone Cement	Bone Cement, Gentamicin, PMMA	40gm	Changed Product Group, Product Sub-Group,

Suffix.

BI246	Arthrotek Ligament Fixation System	Bone Mulch Screws, Titanium	10.5mm x (20-35mm)	Changed Product Group, Product Sub-Group.

BI248	SST Small Bone Locking Nail	Forearm Nail, Titanium	3.5mm x (180-260mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI249	SST Small Bone Locking Nail	Screw, Distal Fixator, Titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI250	SST Small Bone Locking Nail	Set Screw w/holder, Titanium	One size only	Changed Product Group, Product Sub-Group.

BI251	SST Small Bone Locking Nail	Nail End Cap, titanium	low profile, one size only	Changed Product Group, Product Sub-Group.

BI252	SST Small Bone Locking Nail	Fibula Nail, titanium	(3.5, 4.5mm) x 150mm	Changed Product Group, Product Sub-Group,

Suffix.

BI253	BMP Cable System	Cable Chrome Cobalt	1.6mm or 2.0mm	Changed Product Group, Product Sub-Group.

BI254	BMP Cable System	Cable Sleeve, Chrome Cobalt, Stainless Steel	One Size only	Changed Product Group, Product Sub-Group.

BI255	BMP Cable System	Trochanteric Grip, Chrome Cobalt	1.6mm or 2.0mm	Changed Product Group, Product Sub-Group.

BI256	BMP Cable System	Cable, Stainless Steel	1.6mm or 2.0mm	Changed Product Group, Product Sub-Group.

BI258	BMP Cable System	Dynamic Compression Plate, 3 hole, Stainless Steel	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI259	BMP Cable System	Dynamic Compression Plate, 5 hole, Stainless Steel	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI260	BMP Cable System	Dynamic Compression Plate, 7 hole, stainless steel	One size only	Changed Product Group, Product Sub-Group.

BI261	BMP Cable System	Dynamic Compression Plate, 9 hole, Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

BI262	EBI XFIX Dynafix System	Bone Screw, Cortical, tapered, Cancellous, Stainless 	2.4mm to 6.00mm diameter	Changed Product Group, Product Sub-Group.

Steel

BI264	EBI XFIX Dynafix System	Distal Radius Fixator, Dimension, Stainless Steel, 	One size only	Changed Product Group, Product Sub-Group.

Aluminium

BI265	EBI XFIX Dynafix System	Hybrid Fixation System, Stainless Steel, Aluminium	Rings - 1/3, 2/3, Rotating, 100mm-220mm.  Ring Bolt - 	Changed Size, Product Group, Product Sub-

Xsmall, adult. Ring to fixator connector. Rotation 	Group.

adaptor - male, female, Xsmall, adult. Variable wire

(1 size) or Variable Screw Carriage (fixed and

angulating). Wire (1.6-2mm x 350-400mm). Washer (9

BI267	EBI XFIX Dynafix System	Fixator Complete - includes T-Clamp, 	Standard, Small, Extra Small	Changed Product Group, Product Sub-Group.

Compression/Distraction, Dynamisation, Articulating

Ankle Clamp

BI270	EBI XFIX Dynafix System	Pelvic Fixator  Screws, Stainless Steel, Aluminium	One size only	Changed Product Group, Product Sub-Group.

BI271	EBI XFIX Dynafix System	Wire Straight or Olive with Washer, Chrome Cobalt	160 or 200mm x (1.6 or 2.0mm)	Changed Product Group, Product Sub-Group.

BI272	EBI XFIX Dynafix System	Distal Radius Fixator, Wristfix, Stainless Steel, 	One size only	Changed Product Group, Product Sub-Group.

Aluminium

BI275	Lactosorb Suture Anchors	Suture Anchor, Lactosorb, PGA/PLA	2.0mm, 3.0mm	Changed Product Group, Product Sub-Group,

Suffix.

BI276	Readsorbable Meniscal Staple	PGA/PLA	11mm, 13mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 37 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI277	Re-Unite Orthopaedic Bone Pin	Bone Pin, PGA/PLA	(1-4)mm dia x (20-70)mm	Changed Product Group, Product Sub-Group,

Suffix.

BI278	Re-Unite Orthopaedic Screws	Screw, PGA/PLA	(2-5)mm dia x (5-70)mm	Changed Product Group, Product Sub-Group,

Suffix.

BI281	Femoral Interlocking Nail	Nail, Interlocking, Titanium	(10-15mm) x (300 - 440mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI282	Femoral Interlocking Nail	Screws, Femoral Nail, Titanium	5mm x (25-70mm)	Changed Product Group, Product Sub-Group.

BI283	Femoral Interlocking Nail	Screws, Femoral Nail, Titanium	6.4mm x (70-120mm)	Changed Product Group, Product Sub-Group.

BI284	Femoral Interlocking Nail	Screws, Femoral Nail, Titanium	6mm x (30-100mm)	Changed Product Group, Product Sub-Group.

BI285	Femoral Interlocking Nail	Femoral Nail End Cap	10-11mm & 12-16mm	Changed Product Group, Product Sub-Group.

BI286	Uniflex Tibial Nail	Tibial Nail, Titanium	8-14mm x 240-420mm	Changed Product Group, Product Sub-Group,

Suffix.

BI287	Uniflex Tibial Nail	Tibial Nail Transverse Screw, Titanium	4.0, 5.0mm x (20-70mm)	Changed Product Group, Product Sub-Group.

BI288	Uniflex Tibial Nail	Tibial Nail, Ti	8 - 9mm x (240-380mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI289	Uniflex Tibial Nail	Tibial Nail, Ti	10 - 11mm x (240-420mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI290	Uniflex Tibial Nail	Screw, Tibial Nail, Ti	4 - 5mm x (20-70mm)	Changed Product Group, Product Sub-Group.

BI291	Uniflex Tibial Nail	Nail, End Cap, Ti	4 - 18mm diameter	Changed Product Group, Product Sub-Group.

BI292	Humeral Nail	Humeral Nail, Titanium 	8.0- 9.0mm x (180-280mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI293	Humeral Nail	Screws, Transverse Humeral Nail, Titanium	(4.0-4.5mm) x (16-46mm)	Changed Product Group, Product Sub-Group.

BI294	Humeral Nail	Nail, Humeral, Titanium	(8.0- 9.0mm) x (180-280mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI295	Kuntscher Cloverleaf Medullary Nails 	Stainless Steel	6-12mm x (140-520mm)	Changed Product Group, Product Sub-Group.

BI296	Kuntscher Cloverleaf Medullary Nails 	Stainless Steel	13-16mm x (280-520mm)	Changed Product Group, Product Sub-Group.

BI297	Kuntscher Cloverleaf Medullary Nails 	Stainless Steel	17-20mm x (300-750mm)	Changed Product Group, Product Sub-Group.

BI298	Rush Intramedullary Pins	Stainless Steel	2.4-6mm x (30-440mm)	Changed Product Group, Product Sub-Group.

BI299	Kuntschner Y Nail	Stainless Steel	1.0-3.0mm x (100-310mm)	Changed Product Group, Product Sub-Group.

BI302	Knowles Hex Drive Pins	Stainless Steel	4.0, 4.7mm x (57-152mm)	Changed Product Group, Product Sub-Group.

BI303	Rush Intramedullary Pins	Stainless Steel	2.4mm x (30-35mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI304	Rush Intramedullary Pins	Stainless Steel	3.2mm x (100-250mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI305	Rush Intramedullary Pins	Stainless Steel	(2.4, 4.8)mm dia x (30-360)mm	Changed Product Group, Product Sub-Group,

Suffix.

BI306	Rush Intramedullary Pins	Stainless Steel	(6 - 6.4mm) x (280 - 440mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI309	Compression Hip Screw	Plate, Titanium	2-14 hole x 53-257mm	Changed Product Group, Product Sub-Group,

Suffix.

BI311	Compression Hip Screw 	Support Screw, Titanium, Stainless Steel	4.5 - 6.5 x (14-70mm)	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 38 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI312	Compression Hip Screw 	Lag Screw, Titanium, Stainless Steel	12.7, 15mm x (55-150mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI314	Cannulated Screws	Fixator, Ulson, Clamp Assembly	One size only	Changed Product Group, Product Sub-Group.

BI317	Compression Hip Screw 	Lag Screw, Stainless Steel	12.5,14mm x (50-150mm)	Changed Product Group, Product Sub-Group,

Suffix.

BI318	Compression Hip Screw 	Cortical Screws Pk 10, Stainless Steel	2.7-4.5mm x (10-140mm)	Changed Product Group, Product Sub-Group.

BI319	Compression Hip Screw 	Compression Screw	1.5-4.5 x (6-70mm)	Changed Product Group, Product Sub-Group.

BI320	Arthrotek Harpoon System	Suture Anchor, Stainless Steel, Ti	1 to 5	Changed Product Group, Product Sub-Group.

BI321	Cannulated Screws (Various)	Ulsan Fixator, Percutaneous Pins (Pair)	135, 200mm	Changed Product Group, Product Sub-Group,

Suffix.

BI342	Copeland Shoulder System	Glenoid, UHMWPE	One size only	Changed Product Group, Product Sub-Group.

BI343	Copeland Shoulder System	Humeral, Chrome Cobalt	Small, Std, Large (no specific size)	Changed Product Group, Product Sub-Group.

BI344	Copeland Shoulder System	Glenoid Component, HA Coated, Chrome Cobalt, 	Small, Std, Extra Deep (no specific size)	Changed Product Group, Product Sub-Group,

UHMWPE	Suffix.

BI345	Copeland Shoulder System	Humeral Component, Chrome Cobalt	Small, Std, Large (no specific size)	Changed Product Group, Product Sub-Group.

BI691	Calcigen-S	Bone substitute, Calcium Sodium Phosphate	5-25mls	Changed Product Group, Product Sub-Group.

BI692	Reach Revision Hip System	Titanium plasma no HA	Sizes 13 - 19 (L&R) by 200 - 250mm)	Changed Description.

BI695	Liverpool Radial Head Replacement System	Porous Coated CO CR Stem	16 x 18mm length, 18 x 14 - 28mm Length	Changed Product Group, Product Sub-Group.

BI696	Olympia Stem	Anatomic design CO CR femoral stem polished	L & R 6 sizes (1 to 6)	Changed Description.

BI697	Small Fragment Set	Stainless Steel Screws	3.5, 4.0mm length, Sizes 10 - 60mm	Changed Product Group, Product Sub-Group.

BI698	Small Fragment Set	Stainless Steel Plates	Plates 25 - 125mm	Changed Product Group, Product Sub-Group.

BI699	McLauglin Plus 5 Acetabular Shell	Acetabular Shell, Titanium, plasma, non HA	46 - 80mm	Changed Description.

BI700	Par 5 Protrusio Acetabular System	Obturator Hook or Blade or Flange, Ti	Short, Medium or Long	Changed Product Group, Product Sub-Group.

BI704	Par 5 Protrusio Acetabular System	Acetabular reconstruction Shells - Titanium Metal, no 	56 - 72mm	Changed Description.

HA

BI768	Mandibular Fracture System	Screw, IMF 2./2.4 Mandibular Fracture, Titanium	2.0 x(5 - 13)mm	Compressed from BI768, BI769.

BI770	Exceed Acetabular System	Acetabular shell, solid, plasma, HA	Shell sizes 40-70mm	Changed Description.

BI771	Rotating Platform Knee System	Tibial component, Porous, CoCr, Ti	63-87mm	Amended benefit with $1,230.00 gap.

BI775	EBI XFIX DynaFix System	Distal radius fixator, wristfix, sterile, complete	One size only	Changed Product Group, Product Sub-Group.

BI776	EBI XFIX DynaFix System	OptiROM Articulating Fixator Complete	Small and Large	Changed Product Group, Product Sub-Group.

BI777	EBI XFIX DynaFix System	Mini fixator/lengthener with comp/dist	Small, Medium, Long, 100mm, 150mm	Changed Product Group, Product Sub-Group.

BI778	PLR Splined Revision Stem	Splined Straight Stem, Ti, grit blast, non HA	14-24mm x 270mm	Changed Description.

BI779	CDH Hip System	Titanium, plasma and HA	8-12 mm Diameter	Changed Description.

BI780	Optiplug Cement Restrictor	Restrictor, PEGT/PBT	10-20mm Diameter	Changed Product Group, Product Sub-Group.

BI781	Discovery Elbow System	UHMWPE, Ti	3 - 6 mm x 75 - 150 mm	Changed Product Group.

BI783	M2a Modular Head Component & Special Acetabular 	Metal on Metal Acetabular, Chrome Cobalt, Ti, no HA	48-70 mm	Changed Description.

Cup

Changed Items for Prostheses List Report	Page 39 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI789	Ascent Knee System Femoral augments 	Femoral augments, distal and posterior blocks, titanium	4, 8, 12mm	Changed Product Name, Description.

with screw fixation 	Amended benefit with $187.00 gap.

BI797	Weil-Carver Hammertoe Implant	PGA/PLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI798	Ascent Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, curved (dished) or lipped, 	59, 63/67, 71/75, 79/83, 87/91mm widths, 10-20mm 	Compressed from BI798, BI801.

fixed with locking pin 	thicknesses

BI799	Ascent Total Knee System Femoral Component 	Femoral component, CoCr, cemented, totally 	X-Small to X-Large	Changed Product Name, Description, Suffix.

constrained	Amended benefit with $190.00 gap.

BI800	Ascent Total Knee System Femoral Stem 	Femoral stem, titanium, curved and straight, cement 	5 or 7 degree, 100mm, 150mm lengths, 10-24mm 	Changed Product Name, Description.

fixation, includes locking bolt 	diameters	Amended benefit with $1,872.00 gap.

BI802	Ascent Total Knee System Tibial Insert 	Tibial Insert, totally constrained, fixed with locking pin,	59, 63/67, 71/75, 79/83, 87/91mm widths, 10-20mm 	Changed Product Name, Description.

UHMWPE	thicknesses	Amended benefit with $420.00 gap.

BI809	Lactosorb Suture Anchor	Threaded, PGA/PLA	Dia 3.5mm, 5.5mm	Changed Product Group, Product Sub-Group,

Suffix.

BI810	Vanguard  Complete Knee System	Tibial bearing & tray, ' Mono Lok' Cruciate Retaining 	59 -91mm	Amended benefit.

or Posterior Stabilised, CoCr UHMWPE

BI811	Offset Tibial Tray System 	Tibial baseplate, Cemented, Titanium, which allows 	59-91mm	Changed Product Name, Description, Product

for attachment of the offset adaptor 	Sub-Group, Suffix.

Amended benefit.

BI818	EBI XFIX Dynafix System	Rail (Aluminium/Titanium)	100-420mm	Changed Product Group, Product Sub-Group.

BI819	EBI XFIX Dynafix System	Multi Axial Correction and Metaphyseal Arc Module 	4-8cm, Xsmall - Adult	Changed Product Group, Product Sub-Group.

complete with T-clamp

BI820	EBI XFIX DynaFix System	Screw, HA coated, cortical, cancellous	Dia 2-6mm	Changed Product Group, Product Sub-Group.

BI821	AGC Total Knee System Tibial Augments 	Tibial augments, half blocks and wedges, titanium, with	6-16mm	Changed Product Name, Description.

screw fixation 	Amended benefit with $67.00 gap.

BI826	Meniscal Screw	Screw PGA/PLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI827	EBI XFIX Vision System	Rod Clamps/Connector, stainless steel/aluminium	Dia 9.5mm	Changed Product Group, Product Sub-Group.

BI828	EBI XFIX Vision System	Clamp/Rod, stainless steel/aluminium	4mm/6mm, 3-5 hole, 50-150mm	Changed Product Group, Product Sub-Group.

BI829	EBI XFIX Vision System	Screw, Transfixing, Stainless steel	4 - 6mm diameter	Changed Product Group, Product Sub-Group.

BI830	EBI XFIX Vision System	Ring Connector Assembly, stainless steel/aluminium	1 or 2 bolt model	Changed Product Group, Product Sub-Group.

BI831	EBI XFIX Vision System	Post, Bone Screw, Telescoping, stainless steel	One size only	Changed Product Group, Product Sub-Group,

Suffix.

BI832	EBI XFIX Vision System	Rods, Bars, stainless steel/aluminium/carbon fibre	Dia 9.5mm, 150-400mm length	Changed Product Group, Product Sub-Group.

BI834	EBI XFIX DynaFix System	Screw, VS Osteotomy System, Ti	6mm x (30mm-110mm)	Changed Product Group, Product Sub-Group.

BI835	Bio-Modular Shoulder System	Extended Articular Surface Humeral Head, CrCo	40 - 54mm	Changed Product Group, Product Sub-Group,

Suffix.

BI836	Par 5 Protrusio Acetabular System	Acetabular reconstruction Shell CrCo, Ti, HA Coated	56 - 72mm	Changed Description.

BI837	Reach Revision Hip System	Modular Reach Proximal Body - Collared/Collarless, 	Proximal Body #1 - 6	Changed Description.

Ti, HA Coated

BI840	Resurfacing Hip System	Femoral Head CoCr, Ti, no HA	38 - 60mm	Changed Description.

BI841	Resurfacing Hip System	Acetabular Shell CoCr, Ti	44 - 66mm	Changed Product Sub-Group.

Changed Items for Prostheses List Report	Page 40 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI843	EBI XFIX DynaFix System	Plate, VS Osteotomy  Ti	4 hole, 6 hole	Changed Product Group, Product Sub-Group.

BI844	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	40 gm (2 x 20 gm)	Changed Product Group, Product Sub-Group,

Suffix.

BI845	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	80 gm (2 x 40 gm)	Changed Product Group, Product Sub-Group,

Suffix.

BI846	Generation 4 Bone Cement	Bone Cement, Methacrylate- Styrene copolymer	40gm pack	Changed Product Group, Product Sub-Group.

BI847	Generation 4 Bone Cement	Bone Cement, Methacrylate- Styrene copolymer	80gm pack	Changed Product Group, Product Sub-Group.

BI849	EBI XFIX DynaFix System	OptiROM Passive Distractor Module	One Size Only	Changed Product Group, Product Sub-Group.

BI850	EBI XFIX DynaFix System	Hip Distractor Aluminium, Stainless Steel, Titanium	One Size Only	Changed Product Group, Product Sub-Group.

BI851	EBI XFIX Dynafix System	Clamp (Straight, Transport, Rotational T-clamp, 	Ex Small, Small, Adult, 4-6mm	Changed Product Group, Product Sub-Group.

Adaptor, Lenghtener, Shim, Single)

BI852	EBI XFIX Dynafix System	Clamp (Rotational Serrated T-clamp, Swivel, 	Ex Small, Small, Adult, 4-6mm	Changed Product Group, Product Sub-Group.

Translational, Uniplaner, CD)

BI853	EBI XFIX Dynafix System	CD Clicker	Ex Small, Small, Adult, 5-20cm	Changed Product Group, Product Sub-Group.

BI854	EBI XFIX Dynafix System	Rail Accessory (Adaptor, CD Support, Dynamization, 	Ex Small, Small, Adult, 4-6mm	Changed Product Group, Product Sub-Group.

Bridge)

BI856	EBI XFIX Dynafix System	Rail (Carbon Fiber)	100-420mm	Changed Product Group, Product Sub-Group.

BI857	Kirschner Wires	Stainless Steel wire	(1-3.2mm) diameter x (100 to 310mm) length	Changed Product Group, Product Sub-Group.

BI860	Oxford Meniscal Knee System Uni Tibial Baseplate 	Uni Tibial Baseplate, uncemented Titanium plasma 	(38-53) x (26-34)mm	Changed Product Name, Description.

sprayed surface (Porous plasma spray PPS) with HA

(Phase III)

BI861	Oxford Meniscal Knee System Uni Tibial Insert 	Uni Tibial Insert conforming surface, mobile bearing, 	(Small - Extra Large) x (3-9)	Changed Product Name, Description.

UHMWPE (Phase III)	Amended benefit.

BI863	AGC Knee System Tibial  Baseplate 	Tibial baseplate, titanium, Moulded, V2 (version 2), 	(63-91) x (8-22)mm	Changed Product Name, Description.

uncemented with titanium plasma sprayed surface 	Amended benefit.

(Porous plasma spray PPS)

BI871	Vanguard unicondylar Knee System	Tibial Component, CoCr UHMWPE	(A-E) x (5-8)	Amended benefit.

BI876	Endo II Head	Modular Head Taper Insert - CoCr	-6mm to +6mm	Changed Product Sub-Group.

BI879	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	20gm (1 x 20 gm)	Changed Product Group, Product Sub-Group,

Suffix.

BI880	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Proximal Body - Std to +20	Changed Product Group, Product Sub-Group.

BI881	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Segment - 80 to 140 mm	Changed Product Group, Product Sub-Group,

Suffix.

BI882	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Stem - 6.5 to 14.5 mm x 50 to 200 mm	Changed Product Group, Product Sub-Group.

BI884	Comprehensive Fracture Stem	Fracture Stem Cobalt Chrome, Titanium	4,6,8,10,12,14mm	Changed Product Group, Product Sub-Group,

Suffix.

BI885	ROCC Tibial Insert	Tibial Insert, mobile bearing, rotating platform, 	1-6 (tray size), 10-20mm (bearing size)	Changed Product Name, Description.

UHMWPE	Amended benefit with $160.00 gap.

BI886	Vanguard Total Knee System	Femoral Component, CR, uncemented, anatomic, 	55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left and Right	Amended benefit with $430.00 gap.

CoCr, Ti

BI887	ROCC Femoral Component 	Femoral Component, uncemented, Titanium plasma 	1-8	Changed Product Name, Description.

sprayed surface (Porous plasma spray PPS) with HA 	Amended benefit with $260.00 gap.

Changed Items for Prostheses List Report	Page 41 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI888	Vanguard Total Knee System	Tibial Bearing, CR, curved or lipped, UHMWPE	59, 63/67, 71/75, 79/83, 87/91 widths, 10, 12, 14, 16, 18,	Amended benefit.

20mm thicknesses

BI890	Rotating Hinge Knee (RHK) Femoral and Tibial 	Femoral and Tibial half wedges and half blocks, CoCr	Femoral; 10, 20, 30mm LL, LM, RL, RM, Tibial; 10, 	Changed Product Name, Description, Product

Augments 	15mm RM/LL, RL/LM, 20mm	Group, Product Sub-Group.

Amended benefit with $717.00 gap.

BI891	Rotating Hinge Knee (RHK) Tibial Baseplate 	Tibial baseplate, cemented, for mobile insert, polished 	Stemmed 59, 63, 67, 71mm widths; Modular 59, 63, 	Changed Product Name, Description, Product

insert surface 	67, 71, 75, 79, 83mm widths	Group, Product Sub-Group, Suffix.

Amended benefit with $3,800.00 gap.

BI892	Rotating Hinge Knee (RHK) Femoral Component 	Femoral Component,  cemented, CoCr	Small, Standard, Large; Left and Right	Changed Product Name, Description, Product

Group, Product Sub-Group, Suffix.

Amended benefit with $1,870.00 gap.

BI893	Rotating Hinge Knee (RHK)  	Bearing and hinge locking components	Bearing Insert - 12 - 20mm thickness 	Changed Product Name, Description, Size.

Amended benefit with $349.00 gap.

BI894	ROCC Tibial Baseplate 	Tibial Baseplate, cemented, CoCr for mobile insert  	1-8	Changed Product Name, Description.

Amended benefit with $500.00 gap.

BI896	M2A Magnum Prosthesis	Femoral  Head, Cobalt Chrome, metal on metal 	38, 40, 42, 44, 46, 48, 50,52, 54, 56, 58, 60mm	Changed Description.

BI898	Vanguard Total Knee System	Femoral Component, CR, Cemented, anatomic, CoCr.	55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left and Right	Amended benefit with $380.00 gap.

BI899	ROCC Patellar Component 	All poly Patella, cemented, UHMWPE, anatomically 	1-8	Changed Product Name, Description.

shaped 	Amended benefit with $50.00 gap.

BI900	ROCC Tibial Baseplate 	Tibial Baseplate, uncemented, Titanium plasma 	1-8	Changed Product Name, Description.

sprayed surface (Porous plasma spray PPS) with HA 	Amended benefit with $830.00 gap.

for mobile insert

BI901	ROCC Patellar Component 	Patella Component, uncemented, metal backed, 	1-8	Changed Product Name, Description.

Titanium plasma sprayed surface (Porous plasma 	Amended benefit with $98.00 gap.

spray PPS)  with HA

BI902	ROCC Femoral Compoent 	Femoral Component, cemented, posterior stabilised, 	1-8	Changed Product Name, Description, Product

CoCr	Sub-Group.

Amended benefit with $250.00 gap.

BI903	ROCC Patellar Component 	Patella Component, cemented, metal backed, CoCr,  	1-8	Changed Product Name, Description.

with mobile poly 	Amended benefit with $58.00 gap.

BI904	Vanguard Total Knee System	Tibial Bearing, PS, PS+.  UHMWPE	59, 63/67, 71/75, 79/83, 87/91, widths, 10. 12, 14, 16, 	Amended benefit with $420.00 gap.

18, 20, 22, 24mm thicknesses

BI905	AGC Total Knee System Tibial Insert 	Tibial Insert 'Tradition', Posterior Stabilised with peg, 	59-91mm	Changed Product Name, Description.

UHMWPE with locking pin 	Amended benefit with $260.00 gap.

BI907	TRAC Knee System	Bearing Posterior Stabilised UHMWPE	59 - 91mm	Amended benefit with $400.00 gap.

BI909	Rotating Platform Knee System	Tibial Component, Porous, HA Coated, CoCr, Ti, HAP	63 - 87mm	Amended benefit with $830.00 gap.

BI910	Vanguard Rotating Platform Femoral Component	Femoral Component, uncemented, CoCr, Titanium 	60 - 75mm	Changed Product Name, Description.

plasma sprayed surface (Porous plasma spray PPS), 	Amended benefit.

Posterior Stabilised

BI911	Vanguard Rotating Platform Femoral Component	Femoral Component, uncemented, CoCr, Titanium 	60 -75mm	Changed Product Name, Description.

plasma sprayed surface (Porous plasma spray PPS) 	Amended benefit with $260.00 gap.

with HA, Posterior Stabilised

BI915	Batcup	6.5mm Ti Cancellous Bone Screws	12mm to 45mm	Changed Product Group, Product Sub-Group.

BI920	EZLoc Femoral fixation Device	Ligament Anchor, Ti, PE	7-8; 9-10mm x Short, std or long.	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 42 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI921	EBI Paediatric Locking Nail System	Femoral Locking Nail - titanium;	28 -42cm x 5.5 - 6.5mm	Changed Product Group, Product Sub-Group,

Suffix.

BI922	EBI Paediatric Locking Nail System	Screw Pilot Double Thread - titanium;	20 - 68mm x 4.0mm	Changed Product Group, Product Sub-Group.

BI923	EBI Paediatric Locking Nail System	Nail end cap, titanium	5.5mm - 6.5mm	Changed Product Group, Product Sub-Group.

BI928	Tripolar Acetabular Cup Series	Ringloc Series, UHMWPE, Chrome Cobalt	24-28mm	Changed Product Sub-Group.

BI929	Sternalock	Screws Ti	2.4-2.7mm x 8-12mm	Changed Product Group.

BI930	Sternalock	Plates - xyphoid, "L" & square	4 hole	Changed Product Group.

BI931	Sternalock	Plates - "X" & "T"	5-8 hole	Changed Product Group.

BI932	PPF Hip System	grit blas non HA 	00 thru 12	Changed Description.

BI933	Vanguard SSK Knee System	Femoral Component, CoCr, Ti	55 to 80mm	Amended benefit with $2,740.00 gap.

BI936	GPS Bone Biologics	TCP Granules/GPS, TCP	10ml	Changed Product Group, Product Sub-Group.

BI937	GPS Bone Biologics	TCP Granules/GPS, TCP	20ml	Changed Product Group, Product Sub-Group.

BI938	GPS Bone Biologics	TCP Granules/GPS, TCP	50ml	Changed Product Group, Product Sub-Group.

BI939	Vanguard SSK Knee System	Tibial Bearing Insert, PSC, UHMWPE	59-75mm x (10-24mm)	Amended benefit with $310.00 gap.

BI940	Peritrochanteric Nail System	Lag Screw, Telescoping, Ti	65mm - 120mm	Changed Product Group, Product Sub-Group,

Suffix.

BI941	Peritrochanteric Nail System	Lag Screw, Solid, Ti	65mm - 120mm	Changed Product Group, Product Sub-Group,

Suffix.

BI942	Peritrochanteric Nail System	Trochanteric Nail Ti	24cm - 48cm	Changed Product Group, Product Sub-Group.

BI943	Peritrochanteric Nail System	End Cap Ti	0 - 15mm	Changed Product Group, Product Sub-Group.

BI945	Vanguard PFR	Femoral Component, Ti	XS to Xlarge	Amended benefit with $390.00 gap.

BI946	Calcibon	Granules or paste, TCP	10cc	Changed Product Group, Product Sub-Group.

BI947	Calcibon	Granules or paste, TCP	20ml	Changed Product Group, Product Sub-Group.

BI948	Calcibon	Granules or paste, TCP	50ml	Changed Product Group, Product Sub-Group.

BI950	Explor Radial Head	Radial head stem. Ti	Heads 20-24mm Stems 5-9mm	Changed Product Group, Product Sub-Group,

Suffix.

BI951	Vanguard Total Knee System	Femoral Component, Posterior Stabilised, anatomic, 	55-80	Amended benefit.

Plasma Porous Coated, CoCr & Ti alloy

BI952	Vanguard Total Knee System	Femoral Augments, anatomic, distal or posterior, Ti 	5-15mm x 55-80mm	Amended benefit with $87.00 gap.

alloy

BI954	AGC Dual Articular Knee System Tibial Insert 	Tibial Insert, UHMWPE, totally constrained, Rotating, 	59 - 83mm, 8 - 20mm Depth	Changed Product Name, Description, Suffix.

reinforcement post on baseplate 	Amended benefit.

BI955	AGC Dual Articular Knee System Tibial Baseplate 	Tibial baseplate, CoCr, polished insert surface, for 	59 - 83mm	Changed Product Name, Description, Suffix.

mobile insert with reinforcement post 	Amended benefit.

BI956	Offset Tibial Tray System 	Offset Adapter for connection to tibial stems and 	0mm, 2.5mm, 5mm Offset	Changed Product Name, Description.

baseplate, titanium 	Amended benefit.

Plastic and Reconstructive

BI576	Distraction Technology System	Distractor, Flexible Shaft, Facial, Titanium	1 - 3inch	Changed Product Group.

Changed Items for Prostheses List Report	Page 43 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BI580	Distraction Technology System	Distractor, Midface, Drive Screw with Sleeve.  Titanium	20 - 30mm	Changed Product Group, Suffix.

BI582	Distraction Technology System	Plate, Anterior or Posterior, Mid Face	Standard or Long	Changed Product Group.

BI586	Distraction Technology System	Mandibular, Straight Plate or Distractor Tree	10-25mm	Changed Product Group.

BI588	Distraction Technology System	Distractor, Paediatric,  Titanium	10 - 30mm	Changed Product Group, Product Sub-Group,

Suffix.

BI823	Alveolar Ridge Distraction System - titanium	distraction device, single tooth	10-20mm	Changed Product Group, Product Sub-Group,

Suffix.

BI824	Alveolar Ridge Distraction System - titanium	distraction device, multi tooth	10-20mm	Changed Product Group, Product Sub-Group,

Suffix.

BI825	Alveolar Ridge Distraction System - titanium	Shim plate, titanium	1-3mm	Changed Product Group.

Biotronik Australia Pty Ltd

Vascular

BT072	Astron	Peripheral self expanding nitinol, coated stent	Dia: 6 - 12mm, Len: 30 - 100mm	Changed Product Sub-Group, Suffix.

Boston Scientific Australia Pty Ltd

Cardio-thoracic

BS125	Promus Everolimus Coronary Stent System	Cobalt chromium alloy stent coated with a blended 	2.25mm to 4.0mm diameter, 8mm to 28mm length	Changed Size, Product Sub-Group.

polymer mixed with Everolimus.

General/Miscellaneous

BS046	Ultraflex Oesophageal Stent; Ultraflex Oesophageal 	Self expanding, nitinol metallic stent. Covered and non-	Diameters: Up to 28mm, Lengths: Up to 15cm	Changed Product Group, Product Sub-Group.

NG Stent	covered.	Amended benefit.

BS047	Ultraflex Tracheobronchial Stent	Self expanding, nitinol metallic stent, covered and non-	Diameter 8mm - 20mm, Length 20mm - 80mm	Changed Product Group, Product Sub-Group.

covered	Amended benefit.

BS049	Covered Oesophageal Wallstent	Flamingo Wallstent, Wallstent Esophageal II 	(Lengths over 11cm): Flamingo: 120mm x 16-24mm 	Changed Product Group, Product Sub-Group.

Endoprosthesis: Monofilament wire, self-expanding 	(Diameter), 140mm x 20-30mm (diameter), Wallstent	Amended benefit.

Esophageal II Endoprosthesis: 150mm x 20-28mm

(diameter)

BS051	Stent (Non-Vascular)	Wallstent (Non-covered): Monofilament wire, self-	8mm x 40mm, 8mm x 60mm, 8mm x 80mm, 10mm 	Changed Product Group, Product Sub-Group.

expanding	x 42mm, 10mm x 68mm, 10mm x 80mm	Amended benefit.

BS052	Stent (Non-Vascular)	Wallstent (Covered): Monofilament wire, self-	10mm x 40mm, 10mm x 60mm, 10mm x 80mm	Changed Product Group, Product Sub-Group.

expanding	Amended benefit.

BS053	Wallstent Enteral Endoprosthesis 	Enteral Endoprosthesis Wallstent with Delivery 	18mm x 60mm, 18mm x 90mm, 20mm x 60mm, 	Changed Product Group, Product Sub-Group.

System:Monofilament wire, self-expanding	20mm x 90mm, 22mm x 60mm, 22mm x 90mm	Amended benefit.

BS054	Flexima Biliary Stent System	Flexima Polyurethane with Glidex Hydrophilic 	Dia 7 FR - 11.5 FR, length 5 - 15cm	Changed Product Group, Product Sub-Group.

Coating, System includes Stent, Guide Catheter and 	Amended benefit.

Push Catheter

BS055	Rapid Exchange Biliary Stent System	Flexima Polyurethane with Glidex Hydrophilic 	Diameter 7 FR - 11.5 FR, length 5 - 15cm	Changed Product Group, Product Sub-Group.

Coating, System includes Stent, Guide Catheter and 	Amended benefit.

Push Catheter

BS066	Biliary Drainage Stent, Amsterdam Biliary Stent	The Biliary Stent is supplied with a push catheter and 	French Size 7Fr to 12Fr, Length between pigtails/barbs: 	Changed Product Group, Product Sub-Group.

possibly a guide catheter.	 5cm to 15cm	Amended benefit.

Changed Items for Prostheses List Report	Page 44 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BS070	Wallstent RX Biliary Endoprosthesis with Unistep Plus 	Self-expanding metal stent constructed from a 	Diameter: Up to 10mm, Stent Length: Up to 100mm	Changed Product Group, Product Sub-Group.

delivery System	biomedical Cobalt-based super alloy wire, Eligiloy, 	Amended benefit.

with a tantalum core.  The stent is either bare or

covered with silicone. The stent is mounted on a

delivery catheter.

BS071	Ultraflex Precision Colonic Stent System	The Ultraflex Precision Colonic Stent System consists 	Dia 25mm along body and 30mm at flared distal 	Changed Product Group, Product Sub-Group,

of a self-expanding metal stent and a delivery 	section.  Stent Length 60 - 120mm	Suffix.

Amended benefit.

BS082	Resolution Clip Device	Pre-loaded endoscopically applied clip, radiopaque 	7Fr, 11mm jaw opening	Changed Product Group, Product Sub-Group,

stainless steel & cobalt chrome.	Suffix.

Amended benefit.

BS089	WallFlex Oesophageal Metal Stent	TTS, closed cell, catheter delivery system, nitinol	Lengths: up to 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

BS090	WallFlex Enteral Metal Stent (Duodenal/Colonic)	TTS, closed cell, catheter delivery system, nitinol	Lengths: up to 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

BS101	Polyflex Airway Stent	Poylester braided material encapsulated with silicone, 	Stent inner diameters up to 22mm, stent lengths up to 	Changed Product Group, Product Sub-Group.

self expanding stent	80mm	Amended benefit.

BS102	Polyflex Oesophageal Stent	Poylester braided material encapsulated with silicone, 	Stent inner diameters up to 22mm, stent lengths up to 	Changed Product Group, Product Sub-Group.

self expanding stent	80mm	Amended benefit.

BS103	Dynamic (Y) Stent	Bifurcated Tracheobronchial stent. Bronchial Limbs 	Stent inner diameters up to 15mm, stent limb lengths 	Changed Product Group, Product Sub-Group.

made of silicone and tracheal stem made of silicone 	up to 110mm	Amended benefit.

with embedded stainless steel c-shape rings.

BS117	WallFlex Biliary RX Stent	TTS, closed cell, catheter delivery system, nitinol	Lengths up to 10cm	Changed Product Group, Product Sub-Group.

Amended benefit.

BS122	Wingspan Stent System	Wingspan Self Expanding Nitonol Stent and delivery 	Stent diameters: 2.5mm to 4.5mm; Stent lengths: 	Changed Product Name, Description.

catheter.	9.0mm to 20.0mm

Vascular

BS021	Fibred Platinum Coils, Braided Occlusion Device 	Platinum coil covered with dacron fibres. Delivery 	Delivery device lengths up to 175cm.  Sizes of coils 	Changed Product Name.

(BOD), Vortx, VortX Diamond, Interlock Fibered IDC 	systems with nitinol braid, Polypropylene proximal, 	Diameter 2mm - 30mm and lengths 2mm - 100mm.

Coils, Excelsior, Tracker, FasTracker, Turbotracker, 	Polyethylene distal.

Renegade, Spinnaker Elite

BS031	PVA/Contour SE for embolization and delivery system	Polyvinyl alcohol foam and delivery system; 	45-150 micron, 150-250 micron, 250-355 micron, 355-	Changed Product Sub-Group, Suffix.

Microcatheter for PVA delivery; Delivery systems 	500 micron, 500-710 micron, 710-1000 micron, 1000-

with nitinol braid, Polypropylene promixal, 	1180 micron, 150-175cm/3-25cm

Polyethylene distal. Contour Embolisation Particles,

FasTracker, Tracker, TurboTracker, Renegade Hi Flo

BS034	PVA Particles (contour embolisation, Contour SE 	Polyvinyl alcohol foam with a hydrophilic spherical 	45-150 micron, 150-250 micron, 250-355 micron, 355-	Changed Product Sub-Group, Suffix.

shape for delivery improvements	500 micron, 500-710 micron, 710-1000 micron, 1000-

1180 micron; 1ml, 2ml

BS035	Expandable Endovascular Wallstent	Wallstent - Easy Wallstent, Iliac Wallstent (A self-	Stent Diameter x Stent Length: 6-16mm x 18-70mm	Changed Product Sub-Group, Suffix.

expanding stent that has a cylindrical braided structure

composed of 24 wires with core of either tantalum or

platinum).

BS056	Carotid Wall Stent	Model SCH64371, SCH64377, SCH64378, SCH64379, 	Fully open diameter 6.0 - 10.0mm, Fully open length 	Changed Product Sub-Group, Suffix.

SCH64382, SCH64383, SCH64384, Elgiloy (cobalt 	22 - 37mm

chromium), flexible low profile, self expanding

Changed Items for Prostheses List Report	Page 45 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

BS059	Express Vascular LD Stent; Express Vascular SD Stent	316L stainless steel stent mounted on a balloon.  The 	Diameter 4mm - 10mm, Length 14mm - 60mm	Changed Product Sub-Group, Suffix.

balloon shaft is polyurethane with coextrusion balloon

on a distal end where stent is crimped to.

BS063	Wallstent RP; 7Fr Placehit Wallstent	Wallstent TIPS endoprosthesis, wallstent biliary 	Diameter 6mm - 24mm, Length 18mm - 90mm	Changed Product Sub-Group, Suffix.

endoprosthesis, wallstent iliac endoprosthesis, wallstent

endoprosthesis tracheobronchial  with unistep plus

delivery sytem, 7Fr Placehit Wallstent.  Stent

composition - biomedical superalloy wire, braided in

mesh, unistep delivery system composition - blue

polyimid material, stainless steel

BS077	Sentinol Nitinol Vascular Stent System	Implantable metallic stent and Uniflex delivery 	Diameter: 5 to 10mm. Length: 20 to 120mm	Changed Product Sub-Group, Suffix.

BR & CT Enterprises Pty Ltd

Ophthalmic

BC005	LIDCHAIN Platinum Eyelid Implant	Platinum	Weights - 0.8, 1.0, 1.2, 1.4, 1.6, 1.8 grams	Changed Product Group, Product Sub-Group,

Suffix.

Cardinal Health

Neurosurgical

CI001	Ava-Tex Radiopaque Bone Cement Kit	13.8g Barium-Polymer Powder & 6mL Liquid 	12mL	Amended benefit.

Monomer, Ported Mixing Vial, Funnel, 20mL 2-Piece

Syringe, Ampoule Disposal Container, Monomer

Dispersement Cannula, Spatula, Four Self-Adhesive

Charge Labels, Part No.  BCPM003

Orthopaedic

CI002	AVAmax Plus	Radiopaque bone cement system	11G & 13G	Changed Product Name.

Amended benefit with $560.00 gap.

Carl Zeiss Pty Ltd

Ophthalmic

CZ001	T.Flux: Non-Absorbable Galucoma Drain	-	One size only	Changed Product Group, Product Sub-Group.

CZ002	Tensiobag: Capsular Tension Ring	PMMA	Diameter 10 - 14mm	Changed Product Group, Product Sub-Group.

CZ006	IOLTECH Intraocular Lens, Model Stabibag RTU, 	IOLTECH hydrophilic acrylic, foldable, CP, single 	5.5mm to 6.0mm optic x 10.5mm to 10.75mm overall 	Changed Product Sub-Group, Suffix.

Model XL Stabi RTU/Sky	piece, square edge design, UV blocker, Tri-haptic, 	diameter

Ready to use single use pre-loaded

CZ009	Ethos	Hydrophobic Acrylic, Foldable, PC, 3-Piece, Square 	6.0mm Optic x 12.5mm Overall Diameter	Changed Product Sub-Group, Suffix.

Edged Design, UV Blocker, Pre-Loaded

City Medical Devices Australia (trading as Energy Orthopaedics)

Orthopaedic

CD001	MRP- TITAN Stem	Modular Revision Titanium stem, straight and curved	140mm  diameter 13-30	Changed Suffix.

CD003	Biolox - Forte Ceramic Head	Biolox Ceramic Head	Diameter 28-32, S,M,L neck length	Changed Size.

CD004	MRP-TITAN Stem	Short diopyseal stem	30mm length - diameter 16mm, 18mm, 20mm, 	Changed Description.

Changed Items for Prostheses List Report	Page 46 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

CD005	MRP-TITAN Screws	Locking screw	Short and long	Changed Description, Size, Product Sub-Group.

CD008	Aptus Hand-Plates	Aptus Hand-Plates	1.2/1.5/2.0/2.3/2.5; straight plate 4-16 hole; curved 16 	Changed Product Group, Product Sub-Group,

hole; offset 16 hole; T plate, Y plate, L plate 4-10 hole; 	Suffix.

T plate offset 11-12 hole; grid-rectangular, trapezoid,

angled, square 4 hole-12 hole

CD009	Aptus Radius Locking plates	Aptus Radius Locking plates (fracture plate, correction 	2.5mm locking plates, 1.6mm thickness, left and right	Changed Product Group, Product Sub-Group,

plate volar, correction plate long volar, correction plate	Suffix.

with flap volar, correction plate long with flap volar,

frame plate volar, frame plate long volar, H plate

CD010	MRP- Titan Stem	Modular Revision Titanium Stem, straight and curved, 	200mm length  diameter 13-30, 260mm length 	Changed Description, Suffix.

long and grit blast	diameter 11-21, 320mm length diameter 11-21mm

CD011	Atlas Acetabular Cup System	Titanium, grit blast & HA	Atlas Cup 40-74mm	Changed Description.

CD012	Atlas Acetabular Cup System	liner polyethylene liner, Titanium & HA	Atlas Poly Insert Std. Dia 28 and 32mm	Changed Description, Size.

CD013	Atlas Acetabular Cup System	Screw	Atlas Screw Dia 6.5mm 15-50mm L	Changed Description, Product Sub-Group.

CD015	Coriolis	CrCo - Fixation screws, Support Ring	Support Ring - 44-64	Changed Product Group.

CD016	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert 	Tibial - Sml/Med/Large	Changed Product Group, Product Sub-Group.

UHMWPE

CD017	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert 	Talar - Sml/Med/Large	Changed Product Group, Product Sub-Group.

UHMWPE

CD018	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly Insert 	Poly Insert UHMWPE - Sml 10-16/ Med 11-17/ Large	Changed Product Group, Product Sub-Group.

UHMWPE	 12-18

CD019	Themis Patellar Femoral Replacement (femoral 	Trochlear Component, uncemented, CoCr with fixed 	Trochlear Component - Sml/ Med/ Large	Changed Product Name, Description.

trachlear component)	metal pegs  	Amended benefit.

CD020	Themis Patellar Femoral Replacement (patellar 	All poly patella component, UHMWPE, cemented, 	Patellar - Sml/ Med/ Large	Changed Product Name, Description, Product

component)	Group, Product Sub-Group.

Amended benefit.

CD021	Coriolis	Polyethylene unmodified Cup	Dia Int. 22-28 -32/ Dia Ext. 40-60	Changed Description.

CD022	Academia Knee Tibial Baseplate 	Tibial Baseplate, uncemented, beaded, CoCr, for fixed 	Tibial Base Plate 40-55	Changed Product Name, Description.

tibial insert	Amended benefit.

CD023	Academia Knee Tibial Insert 	Tibial mobile Insert, UHMWPE	Tibial Insert 40-55/10-20mm	Changed Product Name, Description.

Amended benefit.

CD024	Academia Knee Patella Component 	All poly patella component, UHMWPE, cemented, 	Patellar 34-38mm Dia/ 8-10mm Thickness	Changed Product Name, Description.

Amended benefit.

CD026	ESOP HA	Esop Femoral body Metaphyseal grit blast Ti/HA, 	Left and Right Size 5-20	Changed Description, Product Sub-Group,

Suffix.

CD027	ESOP HA	ESOP Femoral Stem Diaphyseal Ti polished	Size 9-15	Changed Description, Product Sub-Group,

Suffix.

CD029	ESOP HA	Femoral Head Alumina Ceramic	28 and 32mm Diameter	Changed Size.

CD030	Behac Humeral Nail	Stainless Steel Elastic Nail	Large loop and Small Loop	Changed Product Group, Product Sub-Group.

CD031	Telegraph Nail	Stainless Steel Antegrade Nail	15cm length, 7-9mm Diameter	Changed Product Group, Product Sub-Group,

Suffix.

CD032	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip  / Cannulated	Auto Compressive long L10 - L34	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 47 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

CD033	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	FSA 2 part 9-21/14-26	Changed Product Group, Product Sub-Group.

CD034	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Weil self tapping L9 - L15	Changed Product Group, Product Sub-Group.

CD035	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip / 	Arthrodesis large diameter L28 - L40	Changed Product Group, Product Sub-Group.

CD036	Tenolig	Percutaneous Achilles Tendon Repair System	Diameter .85 mm - Length 33 cm	Changed Product Group, Product Sub-Group.

CD037	Telegraph Screws	Self Stabilizing Screws	24mm - 45mm	Changed Product Group, Product Sub-Group.

CD038	Atlas Acetabular Cup System	liner - ceramic and poly 'Titanium & HA	Atlas Alumina Insert Dia 28mmort	Changed Description, Suffix.

CD039	Academia Knee femoral component 	Femoral Component, uncemented, beaded, CoCr with 	Femoral Implant 40-55	Changed Product Name, Description, Product

removable lugs 	Sub-Group.

Amended benefit.

CD040	FH Thira Femoral Stem	Ti & HA Femoral Stem	1-10	Changed Product Sub-Group.

CD041	EUROBONE - Synthetic Bone Substitute	EUROBONE	5cc	Changed Product Group, Product Sub-Group.

CD042	EUROBONE - Synthetic Bone Substitute	EUROBONE	10cc	Changed Product Group, Product Sub-Group.

CD043	EUROBONE - Synthetic Bone Substitute	EUROBONE	20cc	Changed Product Group, Product Sub-Group.

CD044	MRP-TITAN Neck Segment	Body without fin with locking screw Cone 12/14, body 	K, M, L	Changed Description.

with fin with locking screw Cone 12/14, body with

trocanter with locking screw Cone 12/14, special

implant for trocanter

CD045	MRP-TITAN Stem	Trochanteric replacement 	Small and Large	Changed Description.

CD048	Pharo	Intermediate Sleeve	-5 to +10 (six sizes)	Changed Product Sub-Group.

Plastic and Reconstructive

CD006	Aptus Hand	Aptus Hand-locking screws	2.0mm-2.5mm diameter, 6mm-34mm length	Changed Product Group, Product Sub-Group,

Suffix.

CD007	 Aptus Hand	Titanium cortex screws	1.2-2,5mm diameter, 4mm-34mm	Changed Product Group, Product Sub-Group.

ConceptVision Australia Pty Ltd

Ophthalmic

CS002	Staar Toric foldable silicone intraocular lens: Model 	Plate haptics 6.0mm optic	10.8mm - 11.2mm length	Changed Product Sub-Group, Suffix.

AA4203TF; Model AA4203TL	Amended benefit.

CS004	Eyeonics Inc Crystalens	Silicon Multipiece Folding Accommodating Intraocular	Optic Diameter:  4.5mm; Overall Length:  11.5mm	Changed Product Sub-Group, Suffix.

Lens

CS005	Staar foldable silicone intraocular lens: KS-3 Model 	Silicone, foldable, polyamide haptics	6mm Optic, 12.5mm overall length	Changed Product Sub-Group, Suffix.

AS310NV

ConMed Linvatec Australia Pty Ltd

General/Miscellaneous

LV076	Richard Allan Endoscopic Accessories	Titanium endoscopic clips with applier	Medium-Large, 9mm closed. 20 clips	Changed Product Group, Product Sub-Group.

Amended benefit.

LV081	Open Clip Applier	Titanium	25 medium size titanium clips	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 48 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LV086	Reflex 5mm Automatic Clip Applier	Autofeeding disposable clip applier. Contains 15 non 	medium/large	Changed Product Group, Product Sub-Group.

absorbable polymer locking clips	Amended benefit.

LV094	Niti-S Pyloric Stent D-type	Niti-S Pyloric self-expanding metal stent D-type made	Diameter:  16 - 18mm Length: 40 - 120mm	Changed Product Group, Product Sub-Group.

from Nitinol in D mesh construction, uncovered, 	Amended benefit with $50.00 gap.

OTW or TTS

LV095	Niti-S Biliary Stent D-Type	Niti-S Biliary Stent D-Type Uncovered.  Deployed via	10mm Diameter x 50 - 120mm length	Changed Product Group, Product Sub-Group.

stent delivery system for use TTS or percutaneously	Amended benefit with $775.00 gap.

LV096	Niti-S Biliary Stent Y-Type and T-Type	Niti-S Biliary is a self expanding metal stent, made 	10mm Diameter x 5 - 10cm Length	Changed Product Group, Product Sub-Group.

from Nitinol uncovered.  Stent Y-Type for TTS 	Amended benefit with $775.00 gap.

approach, T-Type for percutaneous approach.

LV097	Niti-S Biliary Stent	Niti-S Biliary Stent is a self expanding Nitinol metal 	10mm Diameter x 5 - 10cm Length	Changed Product Group, Product Sub-Group.

stent made from single wire construction with shape 	Amended benefit with $759.00 gap.

memory, uncovered.  Also available covered with

5mm bare at both ends.  Loaded via stent delivery

system for use TTS or percutaneously

LV099	Niti-S Oesophageal Stent	Niti-S Oesophageal sefl-expanding metal stent made 	Diameter: 24 x 16 to 26 x 18mm  Length:  60 - 150mm	Changed Product Group, Product Sub-Group.

from Nitinol.  Available PTFR covered, uncovered or 	Amended benefit with $998.00 gap.

bare head with string for removal or repositioning.

LV100	Niti-S	Oesophageal Double Stent anti reflux type	16mm - 24mm x 60 - 150mm length	Changed Product Group, Product Sub-Group.

Amended benefit with $50.00 gap.

LV101	Niti-S Colorectal Stent D-type	Niti-S D- type Colorectal self-expanding metal stent 	Diameters: 18 - 28mm Lengths: 60 - 120mm	Changed Product Group, Product Sub-Group,

made from Nitinol in unique D mesh construction, 	Suffix.

uncovered OTW or TTS.  With string for ease of 	Amended benefit with $438.00 gap.

removal.

LV102	Niti-S Colorectal Stent	Niti-S Colorectal self-expanding metal stent made 	Stent Dimensions mm: 18x26x30, 18x24x30, 	Changed Product Group, Product Sub-Group,

from Nitinol.  Stent PTFE covered and uncovered 	20x26x30, 22x30x30, 24x30x30, 20x28x30 Length 	Suffix.

OTW or TTS with string for ease of removal.	mm: 30-90	Amended benefit.

Orthopaedic

LV001	Linvatec Super Revo Soft Tissue Anchor	Contains screw, driver and sutures	.	Changed Product Group, Product Sub-Group.

Amended benefit.

LV003	Ultrafix RC, Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	Changed Product Group, Product Sub-Group.

LV005	Ultrafix MiniMite StitchPak Suture Anchor	Soft Tissue Re-attachment - Stainless Steel	2.3mm predeployed diameter	Changed Product Group, Product Sub-Group.

LV006	Ultrafix RC StitchPak Suture Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	Changed Product Group, Product Sub-Group.

LV008	Preloaded Bio-Anchor Absorbable Suture Anchor	Soft Tissue Re-attachment - PLLA	3.5mm diameter	Changed Product Group, Product Sub-Group,

Suffix.

LV009	Revo Cancellous Screw	Soft Tissue Re-attachment - Titanium	4mm diameter	Changed Product Group, Product Sub-Group.

LV010	Mini-Revo Screw	Soft Tissue Re-attachment - Titanium	2.7mm diameter	Changed Product Group, Product Sub-Group.

LV011	Soft Tissue Anchoring Implant - Spiked Washer	Soft Tissue Re-attachment - Titanium	1.3 x 14mm -  2.5 x 20mm	Changed Product Group, Product Sub-Group,

Suffix.

LV012	Soft Tissue Anchoring Implant - Flat Washer	Soft Tissue Re-attachment - Titanium	14, 17mm	Changed Product Group, Product Sub-Group.

LV013	Soft Tissue Anchoring Implant - Cortical Screw	Soft Tissue Re-attachment - Titanium	30 -  80mm	Changed Product Group, Product Sub-Group.

LV014	Soft Tissue Anchoring Implant - Cancellous Screw	Soft Tissue Re-attachment - Titanium	25 -  65mm	Changed Product Group, Product Sub-Group.

LV015	Staple Fixation System	Soft Tissue Re-attachment - Titanium	9.5 - 16.5mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 49 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LV016	Propel Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 30mm	Changed Product Group, Product Sub-Group.

Amended benefit.

LV017	Guardsman Femoral Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 30mm	Changed Product Group, Product Sub-Group.

Amended benefit.

LV018	Cannulated Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 40mm	Changed Product Group, Product Sub-Group.

Amended benefit.

LV019	BioScrew Bioabsorbable Interference Screw	ACL Fixation - PLLA	Diameter 7.0 - 9.0mm, Length 20 - 30mm	Changed Product Group, Product Sub-Group,

Suffix.

LV021	BioStinger - V Bio - Absorbable Meniscal Repair 	Meniscal Repair Device - PLLA	10mm - 16mm	Changed Product Group, Product Sub-Group,

Device	Suffix.

LV022	EndoPearl Bio-Absorbable Implant - ACL Fixation	ACL Fixation - PLLA	7mm - 9mm	Changed Product Group, Product Sub-Group,

Suffix.

LV024	Ultrafix MicroMite Small Joint Anchor	Suture Anchoring Device - Titanium	1.5mm predeployed diameter	Changed Product Group, Product Sub-Group.

LV025	Staplizer Bone Staple Cartridge	5 Titanium staples per cartridge	7 x 7mm, 7 x 10mm, 10 x 7mm, 10 x 10mm, 10 x 	Changed Product Group, Product Sub-Group.

15mm, 13 x 7mm, 13 x 10mm, 13 x 15mm, 13 x

20mm, 16 x 10mm, 16 x 15mm, 16 x 20mm, 16 x

25mm

LV027	Pre-Loaded Ultrafix RC Anchor	Surgical Grade Stainless Steel, preloaded with 2 #2 	Dia 2.9mm, length 6.5mm	Changed Product Group, Product Sub-Group.

sutures

LV028	Pre-loaded BioStinger Bio-Absorbable Meniscal 	Violet, PLLA	10, 13, 16mm	Changed Product Group, Product Sub-Group,

Repair Implant	Suffix.

LV050	Bionx Implants - Rods 	PGA, PLA or PLLA	1.5mm x 10-70mm	Changed Product Group, Product Sub-Group.

LV051	Bionx Implants - Rods 	PGA, PLA or PLLA	2.0mm	Changed Product Group, Product Sub-Group.

LV052	Bionx Implants - Rods 	PGA, PLA or PLLA	3.2mm x 30-70mm	Changed Product Group, Product Sub-Group.

LV055	Bionx Implants - Screws	PLA Full Thread 	3.5mm	Changed Product Group, Product Sub-Group,

Suffix.

LV056	Bionx Implants - Screws	PLA Full Thread 	4.5mm	Changed Product Group, Product Sub-Group,

Suffix.

LV057	Bionx Implants - Screws	PLA Cannulated	4.5mm	Changed Product Group, Product Sub-Group,

Suffix.

LV058	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 10-28mm	Changed Product Group, Product Sub-Group,

Suffix.

LV059	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 30-45mm	Changed Product Group, Product Sub-Group,

Suffix.

LV060	Bionx Implants - Screws	PLLA Lag Screw 	4.5mm x 25-70mm	Changed Product Group, Product Sub-Group,

Suffix.

LV061	Bionx Implants - Screws	PLLA Lag Screw 	6.3mm Diameter	Changed Product Group, Product Sub-Group,

Suffix.

LV062	Bionx Implants - screws	ACL PDLA Screws & Wedges	Dia 5mm, 7mm, 8mm, 9mm	Changed Product Group, Product Sub-Group,

Suffix.

LV063	Bionx Implants - rods	PLLA (Smart Nail)	1.5mm	Changed Product Group, Product Sub-Group.

LV065	Bionx Implants - screws	PLLA Screws (Contour Labral Nail)	3.5mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 50 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LV066	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 6 - 10mm	Changed Product Group, Product Sub-Group,

Suffix.

LV067	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 12 - 20mm; Dia 2.7mm, length 6 -	Changed Product Group, Product Sub-Group,

24mm	Suffix.

LV071	Contour Meniscus Arrow	80L/20D, LPLA & PLLA	1.1mm x 10, 13,16mm	Changed Product Group, Product Sub-Group,

Suffix.

LV072	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 1	1.1mm x 10, 13,16mm	Changed Product Group, Product Sub-Group,

Suffix.

LV074	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 3	1.1mm x 10, 13,16mm	Changed Product Group, Product Sub-Group,

Suffix.

LV075	Bionix Screws	Biocuff C PLA Screw	6.0mm OD x 28mm LONG; 6.0mm OD x 36mm 	Changed Product Group, Product Sub-Group,

LONG	Suffix.

LV077	BioScrew XtraLok Tibial Fixation Device	PLLA	Diameter 8, 9, 10, 11mm; Length 35 & 40mm	Changed Product Group, Product Sub-Group,

Suffix.

LV078	UltraFix Knotless Minimite Suture Anchor	Titanium	Diameter 2.3mm	Changed Product Group, Product Sub-Group.

LV084	SmartNail 2.4	Self-reinforced 96L / 4D PLA	16, 25, 35 & 45mm	Changed Product Group, Product Sub-Group.

LV088	SmartPin Resorbable Bone Fixation Pin, 1.1mm	Self-Reinforced PLLA	10, 20, 30 & 40mm	Changed Product Group, Product Sub-Group,

Suffix.

LV089	Duet Suture Anchor	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	Changed Product Group, Product Sub-Group,

Suffix.

LV090	Super Revo Sholder Anchor with Herculine Suture	5.0mm dia. Titanium, 14.2mm Long Anchor	5.0mm dia. Titanium, 14.2mm Long Anchor	Changed Product Group, Product Sub-Group.

LV091	ThRevo Suture Anchor	Titanium screw-in suture anchor	5.0mm OD x 14.2mm L	Changed Product Group, Product Sub-Group.

LV092	Duet Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	Amended benefit.

LV093	Impact Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	3.5mm O.D. x 10.5mm L	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

LV103	Matryx Interference Screw	Matryx (SR-96L/4D PLA with ß-TCP) Inteference 	7.3 x 20mm; 7.3 x 25mm; 7.3 x 30mm; 8 x 20mm; 8 x 	Changed Size, Product Group, Product Sub-

Screw	25mm; 8 x 30mm; 9 x 20mm; 9 x 25mm; 9 x 30mm; 9	Group.

x 38mm; 10 x 25mm; 10 x 33mm; 10 x 38mm; 11 x

25mm; 11 x 33mm; 11 x 38mm

Corin Australia Pty Ltd

Orthopaedic

CR002	Corifix Radial Head Implant	Cobalt chrome	Small - Large	Changed Product Group, Product Sub-Group.

CR003	Rotaglide + Total Knee System Femoral and Tibial 	Femoral and Tibial Stems, CoCr, cemented	30mm - 70mm	Changed Product Name, Description.

Stems	Amended benefit.

CR004	Rotaglide + Total Knee System Tibial Augments 	Tibial augments, half blocks, CoCr, cement fixation 	Small 4mm - Large12mm	Changed Product Name, Description.

Amended benefit.

CR005	Rotaglide + Total Knee System, Patella Component 	All poly patellar, cemented, UHMWPE, 3 pegs domed	Sml (35/29mm)) - Lg (43/37mm)	Compressed from CR005, CR006.

and asymmetric

CR007	Rotaglide + Total Knee System, Tibial Insert 	Tibial Insert, Mobile bearing, UHMWPE	7mm - 17mm	Changed Product Name, Description.

Amended benefit.

Changed Items for Prostheses List Report	Page 51 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

CR008	Rotaglide + Total Knee System, Tibial Insert 	Tibial Insert, fixed, UHMWPE	9.5mm - 17mm	Changed Product Name, Description, Product

Sub-Group.

Amended benefit.

CR009	Rotaglide + Total Knee System, Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, stippled surface, 	Ex Sml - Ex Lge	Changed Product Name, Description, Suffix.

titanium plasma spray with HA, polished insert surface	Amended benefit.

for mobile insert but fixed insert can also be used

CR010	Rotaglide + Total Knee System Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr, polished insert 	Ex Sml - Ex Lge	Changed Product Name, Description, Product

surface for mobile insert but fixed insert can also be 	Sub-Group, Suffix.

used 	Amended benefit.

CR011	Rotaglide + Total Knee System, Femoral Component	Femoral Component, uncemented, CoCr, stippled 	Ex Sml - Ex Lge	Changed Description.

surface, titanium plasma spray with HA, pegged 	Amended benefit.

CR013	Rotaglide + Total Knee System, Femoral Component	Femoral Component, Cemented, CoCr, pegged 	Ex Sml - Ex Lge	Changed Description.

Amended benefit.

CR014	Rotaglide + Total Knee System, Femoral Component	Femoral Component, uncemented, CoCr, stippled 	Ex Sml - Ex Lge	Changed Description.

surface, titanium plasma spray with HA, stemmed 	Amended benefit.

CR015	Rotaglide + Total Knee System, Femoral Component	Femoral Component, Cemented, CoCr, stemmed 	Ex Sml - Ex Lge	Changed Description.

Amended benefit.

CR016	Optimom Modular Head	CoCr alloy	>32mm	Changed Product Name, Product Sub-Group.

CR031	LARS Interference Screw	Titanium Interference screw	5.2 - 10mm diameter, 15 - 30mm	Changed Size, Product Group, Product Sub-

Group.

CR032	Lars Ligamanet Augmentation reconstruction system	Woven polyester prosthetic ligaments	60,80,100 & y shaped fibres	Changed Product Group, Product Sub-Group.

CR057	Uniglide Uni Knee System Uni Tibial Component 	Uni tibial component, CoCr, uncemented, Titanium 	1-8	Changed Product Name, Description, Suffix.

plasma spray, with calcium phosphate  (HA) ingrowth 	Amended benefit.

surface with TiNi insert surface coating for mobile

insert

CR058	Uniglide Uni Knee System Uni Femoral Component	Uni femoral component, CoCr, uncemented, Titanium 	1-4	Changed Product Name, Description, Suffix.

plasma spray, with calcium phosphate (HA) ingrowth 	Amended benefit.

surface with TiNi articular surface coating

CR059	Uniglide Uni Knee System Uni Femoral Component	Uni Femoral Component, CoCr, cemented, with TiNi 	1-4	Changed Product Name, Description, Suffix.

surface  coating	Amended benefit.

CR060	Uniglide Uni Knee System Uni Tibial Insert 	Uni tibial insert, mobile bearing, UHMWPE	Height 4, 5, 6, 7, 8, 9, 10, 11, 12mm; Size 1-4	Changed Product Name, Description.

Amended benefit.

CR061	Uniglide Uni Knee System Uni Tibial Component 	Uni tibial component, CoCr, with TiNi insert surface 	Sizes 1 - 8 inclusive	Changed Product Name, Description, Suffix.

coating for mobile insert 	Amended benefit.

CR070	Alpha Lock Titanium Counter Sunk Screw	Titanium Counter Sunk Screw	Length (mm) 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65 	Changed Product Group, Product Sub-Group.

& 70

CR071	Alpha Lock Plug Screw; Alpha Lock Locking Screw	Titanium	One Size Only	Changed Product Group, Product Sub-Group,

Suffix.

CR084	Unipolar Modular Head	CoCr Modular Head	38 - 60mm, short, standard and long necks	Changed Product Name, Description.

CR091	Uniglide Uni Knee System Uni Tibial Component 	All poly uni tibial component, cemented 	Sizes 3, 5 & 7, thicknesses 7mm to 13mm	Changed Product Name, Description.

Amended benefit.

CR102	Score Knee System Tibial Baseplate 	Tibial baseplate, CoCr, uncemented, stippled surface, 	7 Sizes	Changed Product Name, Description, Suffix.

titanium plasma spray with HA	Amended benefit.

CR103	Score Knee System Patellar Component 	All poly patella UHMWPE, cemented 	6 Diameters	Changed Product Name, Description.

Amended benefit.

Changed Items for Prostheses List Report	Page 52 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

CR104	Score Knee System Femoral and Tibial Stems	Femoral and Tibial Stems, Titanium, cemented	4 diameters, 3 lengths	Changed Product Name, Description.

Amended benefit with $542.00 gap.

CR105	Score Knee System Femoral Component	Femoral component, Cemented, CoCr, with extended 	7 sizes	Changed Product Name, Description.

patellar groove 	Amended benefit.

CR106	Score Knee System Tibial Baseplate 	Tibial Baseplate, Cemented, CoCr, polished insert 	7 Sizes	Changed Product Name, Description, Suffix.

surface for mobile insert 	Amended benefit.

CR107	Score Knee System Femoral Component	Femoral Component, CoCr, uncemented, stippled 	7 Sizes	Changed Product Name, Description.

surface, titanium plasma spray with HA, pegged 	Amended benefit.

CR108	Score Knee System Tibial Insert  	Tibial Insert, mobile bearing, UHMWPE	7 sizes, 5 thicknesses	Changed Product Name, Description.

Amended benefit.

CR109	Score Knee System Femoral Component	Femoral Component, CoCr, cemented, Posterior 	4 sizes in left and right	Changed Product Name, Description, Product

Stabilised	Group, Product Sub-Group, Suffix.

Amended benefit.

CR110	Score Knee System Tibial Insert  	Tibial Insert, mobile bearing, posterior stabilised with 	20 sizes	Changed Product Name, Description, Product

reinforcement post	Group, Product Sub-Group, Suffix.

Amended benefit.

CR111	Score Knee System Offset Connector	Connector for stems to alter stem offset morse taper 	2mm, 4mm, 6mm	Changed Product Name, Description, Product

but also including screw for additional fixation, titanium	Group, Product Sub-Group.

Amended benefit.

CR112	Score Knee System Tibial and Femoral Augments 	Tibial and Femoral half blocks, CoCr, screw fixation 	31 sizes	Changed Product Name, Description, Product

used for femoral blocks, tibial blocks cemented 	Group, Product Sub-Group.

Amended benefit.

CR115	Extreme Revision Hip Metaphyseal Section	Metaphyseal segment, adjustable rotation, anodized 	4 sizes	Changed Product Sub-Group, Suffix.

titanium with HA coating

CR116	Extreme Revision Hip Titanium Locking Screw	Titanium locking screw	6.2mm diameter, 13 lengths in 5mm increments	Changed Product Group, Product Sub-Group,

Suffix.

CR118	LARS Ligament Staple	CoCr synthetic ligament anchor	6mm, 8mm or 10mm x 20mm	Changed Product Group, Product Sub-Group.

CR121	Horizon Fixation Screw	Titanium countersunk cancellous screw	Diam 6.5mm, lenghts 16 - 55 mm	Changed Product Sub-Group.

Darco Australia

Orthopaedic

DC001	UPS Plate	Osteotomy Plate - Titanium	12 - 30mm	Changed Product Name, Description, Size,

Product Group, Product Sub-Group.

DC002	Lapidus Plate	Arthrodesis Plate - Titanium	Flat, 1 - 6mm step	Changed Product Group, Product Sub-Group.

DC003	Calcaneus Plate	Titanium fixation plate	R/L: S, M, L	Changed Product Group, Product Sub-Group.

DC004	Titanium Screw	Plate locking threaded head	16 - 40mm, diameter 3.5mm	Changed Description, Size, Product Group,

Product Sub-Group, Suffix.

DC007	Titanium Screw	Ring washer	-	Changed Product Group, Product Sub-Group.

DC010	Twist-off	Titanium screw	11 - 15mm, diameter 2.5mm	Changed Product Name, Size, Product Group,

Product Sub-Group.

DC013	Scarf	Compression screw	10 - 32mm	Changed Product Group, Product Sub-Group.

DC014	K Wire	Titanium or Stainless	0.9 - 2.0mm	Changed Product Group, Product Sub-Group.

DC018	MPJ Fusion Plate	Titanium	S, M, L	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 53 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DC019	Mini Staple	Titanium - oblique / rectangular	8 - 12mm	Changed Product Group, Product Sub-Group.

Design for Vision Pty Ltd

General/Miscellaneous

DV024	Haemorrhage Occluder Pin with applicator	Designed to control severe presacral bleeding during 	Pin size 7mm.	Changed Product Group.

pelvic surgery.	Application length 30cm. 2 units per box	Amended benefit.

Ophthalmic

DV005	Gold Eyelid Load 	Small Range - standard	0.6g, 0.8g, 1.0g, 1.2g, 1.4g, 1.6g 	Changed Product Group, Product Sub-Group,

Suffix.

DV007	Gold Eyelid Load 	Large Range	1.8g, 2.0g, 2.2g, 2.4g, 2.6g, 2.8g  	Changed Product Group, Product Sub-Group,

Suffix.

DV009	Morcher Capsular Tension Ring	PMMA Implant	14, 14A, 14C	Changed Product Group, Product Sub-Group.

DV010	Morcher Coloboma Diaphram 	PMMA Implant	96G, 96L	Changed Product Group, Product Sub-Group.

DV012	Gold Eyelid Load	Small range - thin profile	0.6g, 0.8g, 1.0g, 1.2g, 1.4g, 1.6g	Changed Product Group, Product Sub-Group,

Suffix.

DV017	Molteno Implant	Single plate	One size only	Changed Product Group, Product Sub-Group.

DV018	Molteno Implant	Single plate - dual chamber	One size only	Changed Product Group, Product Sub-Group.

DV019	Molteno Implant	Double plate	One size only	Changed Product Group, Product Sub-Group.

DV020	Molteno Implant	Double plate - dual chamber	One size only	Changed Product Group, Product Sub-Group.

DV021	Eyetec DCR Tubes	Stainless steel, silicone tubing, Crawford lacrimal 	32cm	Changed Product Group, Product Sub-Group.

intubation set

DV022	Eyetec DCR Tubes	Stainless steel, silicone tubing, Bodkin lacrimal 	30cm	Changed Product Group, Product Sub-Group.

intubation set

DV023	Eyetec DCR Tubes	Stainless steel, silicone tubing, Canaliculus lacrimal 	30cm	Changed Product Group, Product Sub-Group.

intubation set

DV025	Sil-1000S	Silicone 1000 oil	10 ML Syringe	Changed Product Group, Product Sub-Group.

DV026	Sil-5000S	Silicone 5000 oil	10 ML preloaded syringe	Changed Product Group, Product Sub-Group.

DV027	Eftiar Decalin	Eftiar Decaline	5 ML Vial	Changed Product Group, Product Sub-Group.

DV028	Eftiar Octane	Eftiar Octane	5 ML Vial	Changed Product Group, Product Sub-Group.

DV029	Eyejet CRT	Capsular tension ring made of PMMA per-load on 	14 (10mm), 14C (11mm), 14A (12mm)	Changed Product Group, Product Sub-Group.

disposable injector

DV230	Molteno 3	Drainage implant for glaucoma, made of silicon	2 Sizes: *230 mm square *175mm square	Changed Product Group, Product Sub-Group.

Device Technologies Australia Pty Ltd

General/Miscellaneous

DE259	AERO Tracheobronchial Stent System	Radiopaque self-expanding nitinol stent and delivery 	Diameter 10-18mm, length 20-80mm	Changed Product Group, Product Sub-Group,

system	Suffix.

Amended benefit.

DE262	ALIMAXX-E Esophageal Stent System	Esophageal stent, radiopaque, self expanding nitinol 	Diameter 18-22mm, Length 70-120mm	Changed Product Group, Product Sub-Group.

covered stent, premounted on a delivery system	Amended benefit.

Changed Items for Prostheses List Report	Page 54 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Ophthalmic

DE177	Lester Jones Tear Duct Tubes	Glass	3 x 9 to 16mm, 3.5 x 9 to 18mm, 4.0 x 9 to 24mm, 5.0 	Changed Product Group, Product Sub-Group.

x 9mm

DE178	Silicon Retinal Implant	Sponge	2.5 x 4.0 x 80mm, 3.0 x 5.0 x 100mm, 3.25 x 7.0 x 	Changed Product Group, Product Sub-Group.

80mm, 5.5 x 7.5 x 80mm, 1.5 x 80mm, 2.0 x 80mm,

2.5 x 80mm, 3.0 x 80mm, 4.0 x 80mm, 5.0 x 80mm,

7.0 x 80mm

DE179	Silicon Retinal Implant	Tire 	7.0, 9.0, 12.5, 6.0, 8.5, 10.0mm	Changed Product Group, Product Sub-Group.

DE180	Silicon Retinal Implant	Sleeve	1mm, .76mm, 1.5mm	Changed Product Group, Product Sub-Group.

DE181	Silicon Retinal Implant	Band	0.75 x 2.0 x 125mm, 0.60 x 2.5 x 125mm, 0.75 x 2.5 x 	Changed Product Group, Product Sub-Group.

125mm

DE182	Lid Load Gold Eyelid Weights;	Gold	1.8, 2.0, 2.2, 2.4, 2.6, 2.8 grams	Changed Product Group, Product Sub-Group,

Suffix.

DE183	Lid Load Gold Eyelid Weights;	Gold	0.6, 0.8, 1.0, 1.2, 1.4, 1.6 grams	Changed Product Group, Product Sub-Group,

Suffix.

DE184	Hydroxyapatite Ocular Implant (orbital sphere)  	Coral	16 - 22mm	Changed Product Group, Product Sub-Group.

DE187	P-K Flat Headed Peg and Sleeve Set	Titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DE188	Acrylic Implant	Acrylic	12, 14, 16, 18, 20mm.	Changed Product Group, Product Sub-Group.

DE191	Canaliculus Intubation Sets 	Silicone, SS & Nylon	17.7 x .064 x 29cm, 15.5 x .051 x 33cm	Changed Product Group, Product Sub-Group.

DE199	The Gladston/Putterman Tubes by Gunther Weiss	Glass	3.0mm x 10 to 16mm; 3.5mm x 9 to 18mm; 4.0mm x 	Changed Product Group, Product Sub-Group.

12 to 19mm

DE200	Bayliss Tubes by Gunther Weiss	Glass	3.0mm x 10 to 16mm; 3.5mm x 9 to 18mm; 4.0mm x 	Changed Product Group, Product Sub-Group.

12 to 19mm

DE201	Labtician Tantalum Clips	Tantalum	2, 2.5mm	Changed Product Group, Product Sub-Group.

DE202	John Weiss Glass Mule Globes	Glass	No: 12, 14, 16, 18, 20mm	Changed Product Group, Product Sub-Group.

DE203	Katena Plastic Eye Sphere's Non Sterile	Acrylic	No: 10, 12, 14, 16, 18, 20, 22mm	Changed Product Group, Product Sub-Group.

DE204	Arcaline (Perfluorodecaline)	Liquid perfluorocarbon aid for retinal surgery, 	3ml, 5ml, 7ml	Changed Product Group, Product Sub-Group.

operative device for retinal surgery, in particular

retinal detachment (RD), RD with giant tear etc.

DE205	Arcotane (Perfloro-N-Octane)	Liquid perfluoro-N-Octane aid for retinal surgery, 	5ml, 7ml	Changed Product Group, Product Sub-Group.

pre-operative device for retinal surgery, in particular

retinal detachment (RD), RD with giant tear, RD with

proliferative vitreal retinopathy (PVR) etc.

DE228	LSO Silicone Oil	Silicone oil for tamponade use in vitreoretinal surgery	10ml, vial or syringe	Changed Product Group, Product Sub-Group.

DE253	MicroSil Toric IOL	Silicone Lens (MS6116TU) Standard Range -3.00 to 	Lens Dia =6.00mm Haptics Dia =11.6mm	Amended benefit.

31.00 Dioptres in 0.5 steps with cylinder from 2.00 to

12.00 Dioptres

DE254	MicroSil Toric IOL	Silicone Lens (MS6116TU) Semi-Custom Range -3.00 	Lens Diameter = 6.00mm Haptics Dia = 11.6mm	Amended benefit with $262.00 gap.

to 31.00 Dioptres with 1.0 steps, Cylinder from 3.0 -

14.0 Dioptres

DE255	MicroSil Toric IOL	Silicone Lens (MS6116TU) Custom made range: -28 to	Lens Dia = 6.00mm Haptics Dia = 11.6mm	Amended benefit with $852.00 gap.

+31 Sphere and up to 30D cylinder

Changed Items for Prostheses List Report	Page 55 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DE260	ICU Akkomodative® IOL	ICU Akkomodative IOL- Acrylic lens Range 15-35 	Lens Dia =5.5mm Haptics Dia =9.8mm	Changed Product Sub-Group, Suffix.

Dioptres in 0.5 steps

DE263	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Micrincision Posterior Chamber 	6.D-40.0D	Amended benefit with $28.00 gap.

Lens

MC611M1

DE269	MicroPlex Capsular Tension Ring	PMMA, highly flexible	11mm - 13mm	Changed Product Group, Product Sub-Group.

DE276	Punctal Plug	Plug Lacrimal, Punctum	X-Small, Small, Medium, Large	Changed Product Group, Product Sub-Group.

DE277	Frontalis Suspension Set	Stainless steel needles with solid silicone rods and 	needles 0.90mm x 6.5cm, rod 40cm - 0.80mm, sleeve 	Changed Product Group, Product Sub-Group.

silicone tubing - packaged sterile	10 x 2mm

DE278	BD Visitec Lacrimal Intubation Sets	Stainless steel probes with solid silicone rods or silicone	1. Probes 0.90mm x 4.5cm, rod 40cm x 0.80mm. 2. 	Changed Product Group, Product Sub-Group.

tubing - packaged sterile	Probes 0.40mm x 11cm, tubing 35cm x 0.64mm.

Probes 0.60mm x 11mm, tubing 35cm x 0.30mm.

Orthopaedic

DE055	Osteotomy Plates	Osteotomy, Tibial -  Stainless Steel	5mm - 17.5mm	Changed Product Group, Product Sub-Group,

Suffix.

DE059	Arthrex Meniscal Dart	PLA	10mm - 14mm	Changed Product Group, Product Sub-Group,

Suffix.

DE061	Fixion Nailing System	Stainless Steel	18x 6.7mm - 440 x 12mm	Changed Product Group, Product Sub-Group.

DE062	Ligament Staples	Cobalt Chromium Molybdenium Alloy	6mm - 16mm	Changed Product Group, Product Sub-Group.

DE068	Interference Screws	ARTHREX Non-sheathed	7 x 28mm - 12 x 28mm	Changed Product Group, Product Sub-Group.

DE069	Interference Screws	Bio-Cortical - PLA	8 x 17 - 11 x 17mm and 8 x 20 - 10 x 20mm	Changed Product Group, Product Sub-Group,

Suffix.

DE070	TransFix Implant Screw System - Arthrex	Titanium alloy	40mm & 50 mm	Changed Product Group, Product Sub-Group.

DE071	Arthrex Spiked Washer	Titanium alloy	14 - 15mm	Changed Product Group, Product Sub-Group.

DE072	Bio-Interference Screw	PLA	7mm - 9mm	Changed Product Group, Product Sub-Group,

Suffix.

DE077	Cancellous Bone Screws	Low Profile	30mm - 40mm	Changed Product Group, Product Sub-Group.

DE078	Osteotomy Plates	Osteotomy, Femoral - Stainless Steel	7.5mm - 17.5 mm	Changed Product Group, Product Sub-Group,

Suffix.

DE080	Tissue Button	PLA	6.5mm - 10mm	Changed Product Group, Product Sub-Group,

Suffix.

DE082	Hatric Bone Substitute	Ceramic	7mm - 15mm	Changed Product Group, Product Sub-Group.

DE094	Osteotomy Plates	Anterior/posterior sloped.  Stainless steel	5 - 15mm length	Changed Product Group, Product Sub-Group.

DE096	Fixion IM nail - Humeral	Stainless steel	Dia 6.7 - 8.5mm (reduced), length 180 - 280mm	Changed Product Group, Product Sub-Group.

DE126	Chondral Dart	Polylactide Compositition	Length 18mm	Changed Product Group, Product Sub-Group.

DE127	Bio-Transfix	Composition Poly (L-lactide)	Diameter 5mm, length 50mm	Changed Product Group, Product Sub-Group,

Suffix.

DE128	Cortical Screw	Self locking screws, cancellous and cortical	Diameter 3.5-6mm, length 10-110mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 56 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DE130	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	0.5 - 3mm (1- 2cc)	Changed Product Group, Product Sub-Group,

composition - ceramic consituting calcium phosphate 	Suffix.

hydroxyapatic 60% and tricalcium phosphate beta

(TCP) 40%, granules

DE135	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	1- 3mm (10cc)	Changed Product Group, Product Sub-Group.

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta

(TCP) 40%, granules

DE136	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	2-3mm (16cc)	Changed Product Group, Product Sub-Group.

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta

(TCP) 40%, granules

DE137	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	5 x 5 x 10-20mm	Changed Product Group, Product Sub-Group,

composition - ceramic consituting calcium phosphate 	Suffix.

hydroxyapatic 60% and tricalcium phosphate beta

(TCP) 40%, sticks

DE138	MBCP	Micro & Macroporous Biphasic Calcium Phosphate, 	5-12mm to 15 - 13mm	Changed Product Group, Product Sub-Group.

composition - ceramic consituting calcium phosphate

hydroxyapatic 60% and tricalcium phosphate beta

(TCP) 40%, granules

DE140	Bio-Fastak	Composition - Poly  (L-lactide-co-D, L-lactide) with 	3-11mm	Changed Product Group, Product Sub-Group,

an insert molded eyelet of non-absorbable polyester 	Suffix.

DE162	FASTak Suture Anchor (Small Bone)	Titanium suture anchor, preloaded with polyester suture	Dia 2.4mm x length 7.5mm	Changed Product Group, Product Sub-Group.

DE163	Bio-Post & Washers	PLLA composition	Implant 35mm - 50mm, Washers 16mm	Changed Product Group, Product Sub-Group,

Suffix.

DE166	Bio-Tenodesis Screw	Composition PLLA	Dia 5.5-9mm	Changed Product Group, Product Sub-Group.

DE167	Bio-Interference Screw	Composition - PLLA, delta tapered	Dia6.5 - 10.5mm to 8 - 12mm x 28 - 35mm length	Changed Product Group, Product Sub-Group,

Suffix.

DE168	Univers 3D Shoulder Prostheses	Stem	6-12mm	Changed Product Group, Product Sub-Group.

DE169	Univers 3D Shoulder Prostheses	Glenoid Metal Back	Small, Medium, Large	Changed Product Group, Product Sub-Group,

Suffix.

DE170	Univers 3D Shoulder Prostheses	Glenoid PE-Inlay	Small, Medium, Large	Changed Product Group, Product Sub-Group.

DE171	Univers 3D Shoulder Prostheses	Metal Head	43/15 - 51/22	Changed Product Group, Product Sub-Group.

DE172	Univers 3D Shoulder Prostheses	Cemented glenoid	Small, Medium, Large	Changed Product Group, Product Sub-Group.

DE173	Univers Fracture Prostheses	Shaft	8-13mm	Changed Product Group, Product Sub-Group.

DE174	Univers Fracture Prostheses	Metal head	43/15 - 51/22	Changed Product Group, Product Sub-Group.

DE195	Corkscrew FT	Suture Anchor with Fiberwire	3.5mm - 6.5mm	Changed Product Name, Description, Product

Group, Product Sub-Group, Suffix.

DE196	Corkscrew Suture Anchor	Titanium alloy with Fibrewire suture	3.5mm - 6.5mm	Changed Product Group, Product Sub-Group.

DE197	Bio - Fastak	with Fibrewire suture	3mm x 11mm	Changed Product Group, Product Sub-Group.

DE198	Fastak Suture Anchor (Small Bone)	With Fibrewire Suture	Dia. 2.4mm x Length 7.5mm	Changed Product Group, Product Sub-Group.

DE214	Cortical Screw	Titanium	10-24mm x 2.3mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 57 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DE215	Arthrex Osteotomy Plates	Metatarsal	2mm - 8mm	Changed Size, Product Group, Product Sub-

Group.

DE216	Arthrex Osteotomy Plates	Tibial, Composition Titanium	3mm - 17.5mm	Changed Product Group, Product Sub-Group,

Suffix.

DE217	Arthrex Osteotomy Plates	Femoral, Titanium	5mm - 17.5mm	Changed Product Group, Product Sub-Group,

Suffix.

DE220	Suturetak Suture Anchor	Suture Anchor with Fiberwire	2.4 - 3.7mm diameter x 5 - 14mm length	Changed Product Name, Description, Product

Group, Product Sub-Group, Suffix.

DE224	Retro Screw	Composition PLLA	8-10mm x 20mm	Changed Product Group, Product Sub-Group,

Suffix.

DE225	Fastak Anchor	Titanium with fibrewire suture	2.8mm x 11.7mm	Changed Product Group, Product Sub-Group.

DE252	Tightrope Syndesmosis Repair Kit	Titanium or stainless steel, with non absorbable 	One size only	Changed Product Group, Product Sub-Group.

Fiberwire suture material

DE256	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Trunnion	41 - 53mm	Changed Product Group, Product Sub-Group.

DE257	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Head	41/16 - 53/20	Changed Product Group, Product Sub-Group.

DE258	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Cage Screw	Small - X-Large	Changed Product Group, Product Sub-Group.

DE261	Pushlock Suture Anchor	Knotless Suture Anchor	2.5 - 5.5 x 5 - 18.5mm	Changed Product Name, Description, Size,

Product Group, Product Sub-Group.

DE270	Bio PushLock	Bio Suture Anchor	2.5 - 5.5mm x 8 - 18.5mm	Changed Product Group, Product Sub-Group.

DE271	RetroButton	Femoral Fixation Device	12mm Button with 15-60mm loops, 15mm Button with 	Changed Product Group, Product Sub-Group.

15-60mm loops

DE272	Bio-Compression Screw System	Fixation Device	20mm, 22mm, 24mm, 26mm	Changed Product Group, Product Sub-Group.

DE273	Trim-IT Spin Pin	Trim-IT  Pin Fixation	1.5 - 2.0mm x 100mm	Changed Description, Size, Product Group,

Product Sub-Group.

Plastic and Reconstructive

DE030	Style 468 Biodimensional Saline-filled Mammary 	Silicone shell filled with saline	195 - 205 cm3 x 620 - 650 cm3	Changed Product Group, Product Sub-Group,

Implant	Suffix.

Amended benefit with $150.00 gap.

DE033	Style 168 Biocell Textured Mammary Implant	Silicone shell filled with saline	120 - 150 cm3 x 510 - 540 cm3	Changed Product Group, Suffix.

Amended benefit.

DE034	Allergan Biospan Tissue Expander	Silicone Elastomer. Saline filled.	150-950 cm3	Changed Product Name, Size, Product Group,

Product Sub-Group, Suffix.

Amended benefit.

DE100	McGhan Style 150 Biodimensional Biocell Textured 	Full height, Short Height, t	9.6 -16cm width x 8 - 17cm height x 4.2 - 7.1cm 	Changed Description, Size, Product Group,

Expand Gel/Saline Filled Mammary Implant, Low 	projection	Suffix.

Amended benefit with $380.00 gap.

DE102	McGhan Style 110 & 120 Biocell Textured, Intrasheild	Round: Moderate or high profile	90 - 650 grams	Changed Product Name, Product Group,

barrier Gel-Filled Mammary Implant	Product Sub-Group, Suffix.

Amended benefit.

DE104	McGhan Style 40 & 45 Intrashiel Gel-Filled Round 	Round: standard or high profile	120 400 grams	Changed Product Group, Suffix.

Mammary Implant	Amended benefit.

Changed Items for Prostheses List Report	Page 58 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DE106	Allergan Type MLP, MHP, TRM, TRF, TRX Low, 	Low, Medium, Hight & Extra High profile, textured 	80 - 800 grams	Changed Product Name, Description, Size,

Medium, Hight & Extra High Profile Gel-filled 	surface	Product Group, Suffix.

Mammary Implant	Amended benefit.

DE109	Allergan styles CML, CMH, TSM, TSF, TSX	Silicone Cohesive Gel-Filled Breast Implant	80 - 800 grams	Changed Product Name, Product Group, Suffix.

DE110	Allergan Type SLD, SHD, SRM, SRF, SRX Smooth 	Low, Medium, High or Extra High Profile	100 - 800 grams	Changed Product Name, Description, Product

Silicone Gel-filled Mammary Implant	Group, Suffix.

Amended benefit.

DE120	McGhan Style 410 & 410 Soft Touch Biodimensional 	Full, moderate or low height, Extra Full, Full, moderate	125 - 775 grams	Changed Product Group, Suffix.

Biocell Textured Cohesive Gel-filled Mammary 	 or low projection	Amended benefit.

DE121	Mammary Prosthesis	Smooth Surface - Saline	120 to 510cc	Changed Product Group, Suffix.

Amended benefit.

DE274	Style 510 Dual Gel Breast Prosthesis	Anatomical textured implant with dual gel for 	LX sizes from 130-575 grams, MX sizes from 145-600	Changed Product Group, Suffix.

projection of nipple/areola complex, concave base and	 grams, FX sizes from 165-630 grams	Amended benefit with $315.00 gap.

tapered edges for minimisation of edge/thoracic wall

palpability.

Vascular

DE267	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material Braided 	Diameter 22-46mm, Length 103-271mm	Changed Size, Product Sub-Group.

Polyester PFTE Impregnated Suture Dual Sheath 	Amended benefit with $1,425.00 gap.

Delivery System

DE268	Relay Thoracic Stent Graft	Distal Extension System	Diameter: 22-46mm, Length 104-127mm	Amended benefit.

Diabetes Australia - New South Wales

General/Miscellaneous

DB001	DANAII Insulin Pump	Continuous insulin infusion pump	75mm x 45mm x 19mm	Changed Product Group, Product Sub-Group.

Amended benefit.

Edwards Lifesciences Pty Ltd

Cardio-thoracic

EL032	Baxter Edwards Prima Plus Stentless Bioprosthesis 	Edwards Prima Plus. Porcine Valve; Woven Polyester	19mm-29mm	Changed Size, Product Sub-Group.

Model 2500P Prosthetic Heart Valve	 Cloth.

Vascular

EL040	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 15mm - 18mm, 0.035 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL041	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 19mm - 27mm, 0.035 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL042	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 28mm - 37mm, 0.035 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL043	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 38mm - 56mm, 0.035 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

Changed Items for Prostheses List Report	Page 59 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

EL044	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 15mm - 18mm, 0.018 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL045	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items included in 	Stent Length 19mm - 27mm, 0.018 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL046	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in 	Stent Length  28mm - 37mm, 0.018 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL047	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items included in 	Stent Length 38mm - 56mm, 0.018 compatible	Changed Product Sub-Group, Suffix.

delivery system: nylon balloon, stent and deployment

system

EL048	Lifestent Peripheral Stent	Stent: Nitinol composition with tanilum markers, Items 	6-8mm Diameter, length 20-90mm	Changed Product Sub-Group, Suffix.

included in the delivery system: Stent, deployment

system

Emagin Pty Ltd

Ophthalmic

EG001	Capsular Tension Rings Clear	PMMA Implant	10/08, 12/10, 13/11mm	Changed Product Group, Product Sub-Group.

EG002	Iris Prosthetic System Single Element	PMMA Implant	1/4, 1/3mm	Changed Product Group, Product Sub-Group.

EG003	Iris Prosthetic System Double Element	PMMA Implant	2/3, 2/4mm	Changed Product Group, Product Sub-Group.

EG004	Intracorneal Rings	PMMA	Thickness 0.210mm - 150 degrees Arc Length; 	Changed Product Group.

Thickness 0.250mm - 150 degrees Arc Length;

Thickness 0.275mm - 150 degrees Arc Length;

Thickness 0.300mm - 150 degrees Arc Length;

Thickness 0.325mm - 150 degrees Arc Length;

Thickness 0.350mm - 150 degrees Arc Length;

Thickness 0.400mm - 150 degrees Arc Length;

Thickness 0.450mm - 150 degrees Arc Length

EG005	Capsular Tension Rings Coloured	PMMA Implant	10/08, 12/10, 13/11mm	Changed Product Group, Product Sub-Group.

EG008	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model Toric	5.00mm Optic Diameter x 7.5 in overall length	Changed Product Sub-Group, Suffix.

Composition: PMMA	Amended benefit with $482.00 gap.

EMT Healthcare Pty Ltd

General/Miscellaneous

EM004	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	2.5 x 10cm; 8 x 13cm; 15 x 15cm	Changed Product Group, Product Sub-Group,

laproscopic and open surgical approaches	Suffix.

Amended benefit.

EM005	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	5 x 10cm; 7 x 15cm, 10c x 15cm	Changed Product Group, Product Sub-Group,

laproscopic and open surgical approaches	Suffix.

Amended benefit.

EM006	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	5cm x 30cm, 6cm x 30cm	Changed Product Group, Product Sub-Group,

laproscopic and open surgical approaches	Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 60 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

EM007	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	25 x 36cm; 30 x 30cm	Changed Product Group, Product Sub-Group,

laproscopic and open surgical approaches	Suffix.

Amended benefit.

EM008	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for 	20 x 20cm	Changed Product Group, Product Sub-Group,

intra-peritoneal visceral surgery 	Suffix.

(Polypropylene/ePTFE or Polyester/Silicone)	Amended benefit.

EM009	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for 	15 x 15cm	Changed Product Group, Product Sub-Group,

intra-peritoneal visceral surgery 	Suffix.

(Polypropylene/ePTFE or Polyester/Silicone)	Amended benefit.

EM010	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for 	30 x 30cm	Changed Product Group, Product Sub-Group.

intra-peritoneal visceral surgery 	Amended benefit.

(Polypropylene/ePTFE or Polyester/Silicone)

EM015	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with 15cm x 15cm 	EMT-KIT2BT2PMX2 (bilateral)	Changed Product Group, Product Sub-Group,

mesh	Suffix.

Amended benefit.

EM016	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with 15cm x 15cm 	EMT -KIT2NM (Unilateral)	Changed Product Group, Product Sub-Group,

mesh	Suffix.

Amended benefit.

EM018	Abdominal Wall Reinforcement Implant	Polyester combined with polymerised silicone	12cm x 14cm & 12cm x 16cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

EM019	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with Shape Mesh	EMT-KIT2BT2PMX (Bilateral)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

EM020	BIOMESH HERNIA REINFORCING MESH KIT	Laparoscopic Hernia Repair Kit with  Shape Mesh	EMT-KIT2NM (Unilateral)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Endotec Australia Pty Ltd

Orthopaedic

EA001	Buechel-Pappas Ultracoat Total Ankle Replacement 	Thick or Revision Talar - Ceramic coated titanium	1-6	Changed Product Group, Product Sub-Group.

System (Primary and Revision)

EA002	Buechel-Pappas Ultracoat Total Ankle Replacement 	Primary Talar - Ceramic coated titanium	1 to 6	Changed Product Group, Product Sub-Group.

System (Primary and Revision)

EA006	Buechel-Pappas Ultracoat Total Knee Replacement 	Ceramic Coated, Titanium Femoral and Tibial 	BP TKR Ultracoat Primary Femoral sizes 1-6(inc) 	Changed Product Sub-Group.

System (Primary and Revision)	components with mobile Polyethylene inserts, all 	Left & Right	Amended benefit.

polyethylene patella ceramic coated, titanium backed

polyethylene mobile patella

EA007	Buechel-Pappas Ultracoat Total Knee Replacement 	Ceramic Coated, Titanium Femoral and Tibial 	BP TKR Cemented Primary Femoral sizes 1-6(inc) 	Change.

System (Primary and Revision)	components with mobile Polyethelene inserts, all 	Left & Right	Amended benefit.

polyethelene patella ceramic coated, titanium backed

polyethylene mobile patella

EA008	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, uncemented, beaded, Titanium, TiNi 	1-6(inc)	Changed Product Name, Description, Size,

System Tibial Baseplate 	Insert and bone ingrowth surface treated, for a mobile 	Suffix.

insert	Amended benefit with $700.00 gap.

Changed Items for Prostheses List Report	Page 61 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

EA009	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, cemented, Titanium, TiNi Insert 	1-6(inc)	Changed Product Name, Description, Size,

System Tibial Baseplate 	surface treated, for a mobile insert	Suffix.

Amended benefit.

EA010	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Insert, UHMWPE, mobile bearing 	1-6(inc)	Changed Product Name, Description, Size.

System Tibial Insert 	Amended benefit.

EA011	Buechel-Pappas Ultracoat Total Knee Replacement 	Patellar component, metal backed, uncemented, 	1-6(inc)	Changed Product Name, Description, Size,

System Patellar Component 	beaded, Titanium, TiNi surface treatment for bone and	Suffix.

mobile patella poly  	Amended benefit.

EA012	Buechel-Pappas Ultracoat Total Knee Replacement 	All poly patella, cemented, 3 pegs 	 1-6(inc)	Changed Product Name, Description, Size.

System Patellar Component 	Amended benefit.

EA013	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral Component, Titanium, uncemented, beaded, 	 1-6(inc) Left & Right	Changed Product Name, Description, Size,

System Femoral Component 	TiNi articular and bone surface treatment	Suffix.

Amended benefit with $1,600.00 gap.

EA014	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral Component, Titanium, cemented, TiNi 	 1-6(inc) Left & Right	Changed Product Name, Description, Size,

System Femoral Component 	articular and bone surface treatment	Suffix.

Amended benefit with $1,200.00 gap.

EA015	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, uncemented, beaded, Titanium, TiNi 	1-6(inc)	Changed Product Name, Description, Size.

System Tibial Baseplate 	Insert and bone ingrowth surface treated, for a mobile 	Amended benefit with $1,000.00 gap.

insert

EA016	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, cemented, Titanium, TiNi Inserts and	BP TKR Cemented Revision tibial sizes 1-6(inc)	Changed Product Name, Description.

System Tibial Baseplate 	 bone surface treatment	Amended benefit with $550.00 gap.

EA017	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral Component, Titanium, uncemented, beaded, 	 1-6(inc) Left & Right	Changed Product Name, Description, Size,

System Femoral Component 	TiNi articular and bone surface treatment, fully 	Suffix.

constrained hinged with fixed stems 	Amended benefit.

EA018	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral Component, Titanium, cemented, TiNi 	1-6(inc) Left & Right	Changed Product Name, Description, Size,

System Femoral Component 	articular and bone surface treatment, fully constrained	Suffix.

hinged with fixed stems 	Amended benefit.

EA019	Buechel-Pappas Ultracoat Total Knee Replacement 	Ceramic Coated, Titanium Femoral and Tibial 	BP TKR Ultracoat hinged tibial sizes 1-6(inc)	Change.

System (Primary and Revision)	components with mobile polyethelene inserts all 	Amended benefit with $825.00 gap.

polyethelene patella ceramic coated, titanium backed

polyethelene mobile patella

EA020	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate hinged, cemented, Titanium, TiNi 	hinged tibial sizes 1-6(inc)	Changed Product Name, Description, Size,

System Tibial Baseplate 	Insert surface treated, for a mobile insert	Suffix.

Amended benefit with $590.00 gap.

EA021	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate, thick, uncemented, beaded, Titanium,	1-6(inc)	Changed Product Name, Description, Size.

System Tibial Baseplate 	 TiNi Insert and bone ingrowth surface treated, for a 	Amended benefit with $950.00 gap.

mobile insert

EA022	Buechel-Pappas Ultracoat Total Knee Replacement 	Tibial Baseplate thick hinged, cemented, Titanium, 	thick hinged tibial sizes 1-6(inc)	Changed Product Name, Description, Size,

System Tibial Baseplate 	TiNi Insert surface treated, for a mobile insert	Suffix.

Amended benefit with $700.00 gap.

EA023	Buechel-Pappas Ultracoat Total Knee Replacement 	Femoral and Tibial stems, titanium, TiNi surface 	BP TKR Revision stems 9mm -20mm (inc)	Changed Product Name, Description.

System Femoral and Tibial Stems	treatment, uncemented	Amended benefit with $292.00 gap.

EA024	Buechel-Pappas Ultracoat Total Knee Replacement 	Screws used for augmentation of bone defects and 	BP Rebar screws 15mm-50mm (inc)	Changed Product Name, Description, Size.

System Rebar Screws 	reinforcement of PMMA, TiNi surface treatment	Amended benefit with $60.00 gap.

EA025	Buechel-Pappas Ultracoat Total Shoulder 	Glenoid Fixation Cup - Ceramic coated titanium	44mm-52mm	Changed Product Group, Suffix.

Replacement System (Primary and Revision)

Changed Items for Prostheses List Report	Page 62 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

EA026	Buechel-Pappas Ultracoat Total Shoulder 	Glenoid Bearing - Polyethelene	2 to 4	Changed Product Group, Product Sub-Group.

Replacement System (Primary and Revision)

EA027	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Resurfacing Component-Ceramic coated 	44mm-56mm	Changed Product Group, Product Sub-Group.

Replacement System (Primary and Revision)	Titanium

EA028	Buechel-Pappas Ultracoat Total Shoulder 	Humeral-Stem w / PC-Ceramic coated titanium	8-14mm	Changed Product Group, Product Sub-Group.

Replacement System (Primary & Revision)

EA029	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Head-Ceramic coated titanium	44mm-52mm	Changed Product Group, Product Sub-Group.

Replacement System (Primary & Revision)

EA030	Buechel-Pappas Ultracoat Total Shoulder 	Salvage Humeral Stem-ceramic coated titanium	8-14mm	Changed Product Group, Product Sub-Group.

Replacement System (Primary & Revision)

EA031	Buechel-Pappas Ultracoat Total Shoulder 	All-Poly Glenoid	2-4	Changed Product Group, Suffix.

Replacement System (Primary & Revision)

EA032	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Head Extension - Ceramic coated titanium	2.5 -10mm	Changed Product Group, Product Sub-Group,

Replacement System (Primary & Revision)	Suffix.

EA033	Buechel-Pappas Ultracoat Total Shoulder 	Modular Humeral Stem Ceramic coated titanium	12mm	Changed Product Group, Product Sub-Group,

Replacement System (Primary & Revision)	Suffix.

EA034	Buechel-Pappas Ultracoat Total Shoulder 	Modular Salvage Stem - Ceramic coated titanium	1-4	Changed Product Group, Product Sub-Group,

Replacement System (Primary & Revision)	Suffix.

EA035	Buechel-Pappas Ultracoat Total Shoulder 	Stem Extension -  Ceramic coated titanium	8-20mm	Changed Product Group, Product Sub-Group,

Replacement System (Primary and Revision)	Suffix.

EA036	Buechel-Pappas Ultracoat Total Ankle Replacement 	Tibial componenet ceramic coated titanium	1-6	Changed Product Group, Suffix.

System (Primary and Revision)

EA037	Buechel-Pappas Ultracoat Total Ankle Replacement 	Polyethylene mobile bearing	3mm - 11mm	Changed Product Group, Product Sub-Group.

System (Primary and Revision)

Endotherapeutics Pty Ltd

General/Miscellaneous

ET001	Ferx Ella Esophageal Stent	Kit includes esophageal stent, introducer, balloon 	Diam 20mm, Length 80 - 160mm	Changed Product Group, Product Sub-Group.

catheter	Amended benefit.

ET038	SX-Ella Biliary Stent	Uncovered, self-expanding nitinol stent	Dia 8-12mm, length 50-77mm	Changed Product Group, Product Sub-Group.

Amended benefit with $175.00 gap.

ET039	SX-Ella Tips Stent	Uncovered, self-expanding nitinol stent	Dia 10-14mm, length 52-77mm	Changed Product Group, Product Sub-Group.

Amended benefit with $1,375.00 gap.

ET042	Soft Gastric Banding System	Sterile long term implant for the treatment of obesity.  	One size only	Changed Product Group.

Supplied in kit format with catheter, port and huber 	Amended benefit with $100.00 gap.

needles

ET045	Boubella Esophageal Stent	Self expandable stainless steel wire stent with anti-	Length 90 - 195mm	Changed Product Group, Product Sub-Group.

reflux valve	Amended benefit with $300.00 gap.

ET051	Surgiwrap	Bio Absorbable Antiadhesion Barrier	All sizes with and without suture holes	Changed Product Group, Product Sub-Group.

Amended benefit with $155.00 gap.

Vascular

ET006	Embospheres	-	2ml per implant	Changed Product Sub-Group, Suffix.

ET007	Embospheres	-	1ml per implant	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 63 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ET008	Embospheres	-	.5ml per implant	Changed Product Sub-Group, Suffix.

ESKA Australia

Orthopaedic

EK011	Fixation Device Internal Staple	Metal Staple	7 different sizes	Changed Product Group, Product Sub-Group.

EK012	ESKA Great Toe	Metatarsal Components; Phalangeal Components	various sizes	Changed Product Group, Product Sub-Group.

EK013	ESKA Finger System	Proximal, distal MCP joints, PIP joints	various sizes	Changed Product Group, Product Sub-Group.

EK022	ST Tibial Insert 	Tibial Insert, UHMWPE, Fixed	Various sizes and heights	Changed Product Name, Description.

Amended benefit.

EK024	RP (Rotating Platform) patella component	Patella, all polyethylene (UHMWPE), can be used 	small, medium, large	Changed Product Name, Description.

either cemented or uncemented	Amended benefit.

EK025	ST Tibial Baseplate 	Tibial baseplate   cemented, CoCr 	s-small, small, medium, large, x-large	Changed Product Name, Description.

Amended benefit.

EK026	ST Tibial Baseplate 	Tibial Baseplate, uncemented, Spongiousa metal, 	s-small, small, medium, large, x-large	Changed Product Name, Description.

titanium and CoCr	Amended benefit.

EK028	ESKA Modular Shoulder System	Humeral Stem Universal	.	Changed Product Group, Product Sub-Group,

Suffix.

EK029	ST Femoral Replacement	Femoral component, cemented, CoCr	s-small, small, medium, large, x-large. Height - 8, 10, 	Changed Product Name, Description.

12, 14mm	Amended benefit.

EK030	ST Femoral Replacement	Femoral component, uncemented, Spongiousa metal, 	s-small, small, medium, large, x-large. Height - 8, 10, 	Changed Product Name, Description.

titanium and CoCr	12, 14mm	Amended benefit.

EK032	RP (Rotating Platform) femoral component	Femoral component, cemented, CoCr	s-small, small, medium, large, x-large	Changed Product Name, Description.

Amended benefit.

EK033	RP (Rotating Platform) femoral component	Femoral component, uncemented, Spongiousa metal, 	s-small, small, medium, large, x-large	Changed Product Name, Description.

titanium and CoCr	Amended benefit.

EK036	Femoral Head BS / Ceram	Femoral Head Al2O3	36-48mm	Changed Size.

EK043	PE Articular Surface Component Ankle Joint	4mm, 6mm, 8mm	Changed Product Group, Product Sub-Group.

EK044	RP (Rotating Platform)Tibial Insert B	Tibial insert, UHMWPE, mobile, deep dish	8-10-12-14mm	Compressed from EK044, EK048.

EK045	RP (Rotating Platform)Tibial baseplate 	Tibial Baseplate uncemented (spongiosa metal), 	S-Small-Small-Medium-Large-X-Large	Changed Product Name, Description.

titanium and CoCr, for mobile insert 	Amended benefit.

EK046	Talar Component Ankle Joint Cementless	CoCrMo	Small, Medium, Large	Changed Product Group, Product Sub-Group.

EK050	RP (Rotating Platform)Tibial baseplate 	Tibial Baseplate cemented for mobile insert  CoCr	S - Small - Small - Medium - Large - X-Large	Changed Product Name, Description.

Amended benefit with $200.00 gap.

EK051	Tibial Component Ankle Joint Cementless HA	Tibial Component Ankle Joint CoCrMo/HA	Small, Medium, X-Medium, Large, X-Large	Changed Product Group, Product Sub-Group.

EK053	Tibial Component Ankle Joint Cementless	Tibial Component Ankle Joint CoCrMo	Small, Medium, X-Medium, Large, X-Large	Changed Product Group, Product Sub-Group.

EK064	Large Metal Head Silver Surf	Femoral Head CoCrMo	36mm - 48mm	Changed Size.

EK065	Insert Eska Ceram BS	Ceramic on ceramic bearing insert	44-68mm	Changed Size.

EK071	ESKA Modular Shoulder System	Stem Extension	20mm - 40mm	Changed Product Group, Product Sub-Group.

EK072	ESKA Modular Shoulder System	Humeral Plate	35mm - 43mm	Changed Product Group, Product Sub-Group.

EK073	ESKA Modular Shoulder System	Humeral Component	20mm - 40mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 64 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

EK074	ESKA Modular Shoulder System	Glenoid	Universal Size	Changed Product Group, Product Sub-Group.

EK075	Talar Component Ankle Joint Cementless Ha	CoCRMo/Ha	Small, Medium, Large	Changed Product Group, Product Sub-Group.

EK076	Rotator Cuff Head CTA Head	Rotator Cuff Head CoCr	small, medium, large	Changed Product Group, Product Sub-Group.

EK082	PE Insert	Poly Liner	32mm - 48mm	Changed Product Name, Description, Size.

EK084	Large Metal Head Silver CoCr	Femoral Head CoCR	36mm - 48mm	Changed Size.

ev3 Australia Pty Ltd

Vascular

EE006	Peripheral Stent	Self expanding, nitinol stent	Tapered (8-6, 9-6, 10-7mm) Straight  (5-14mm)	Changed Product Sub-Group, Suffix.

Finsbury Orthopaedics Australia Pty Ltd

Orthopaedic

FI002	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with presembleed with 	44-66 outer diameter going up in 2mm increments	Changed Description, Product Sub-Group.

unmodified UHMPE

FI003	ADEPT MoP Acetabular Component	Titanium, plasma with HA cup with presembleed with 	44-66 Outer diameter going up in 4mm increments	Changed Description, Product Sub-Group.

unmodified UHMPE with dysplasia flange

FI004	Delta motion acetabular cup	Titanium, plasma with HA cup with presembleed delta	42 - 66 going in 2 mm Increments             168 - 102 	Changed Description, Product Sub-Group.

ceramic liner	Acetabular Cup - 42 OD 32 bore,   168 -

104Acetabular Cup - 44 OD 32 bore,   168 - 106

Acetabular Cup - 46 OD 36 bore,   168 - 108

Acetabular Cup - 48 OD 36 Bore,   168 - 110

Acetabular Cup - 50 Od 40 Bore,   168 - 112

Acetabular Cup - 52 OD 40 Bore,   168 - 114

Acetabular Cup - 54 OD 44Bore,    168 - 116

Acetabular Cup - 56 Od 44 Bore,   168 - 118

Acetabular Cup - 58 OD 44 Bore,   168 - 120

Acetabular Cup - 60 OD 44 Bore,   168 - 122

Acetabular Cup 62 OD 44 Bore,   168 - 124 Acetabular

Cup - 64, OD 44 Bore,   168 - 126 Acetabular Cup - 66

OD 44 Bore,  168 - 128 Acetabular Cup - 58 OD 48

Bore,   168 - 130 Acetabular Cup - 60 OD 48 Bore,

168 - 132 Acetablualr Cup - 62 OD 48 Bore,   168 -

Acetabular Cup - 64 OD 48 Bore,  168 - 136

Acetabular Cup - 66 Od 48 Bore.

FI005	ADEPT CoC Acetabular component	Titanium, plasma with HA cup with presembleed delta	44-66 Outer diameter going up in 4mm increments	Changed Description, Product Sub-Group,

ceramic liner with dysplasia flange	Suffix.

FI006	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial Insert, UHMWPE, mobile bearing	S/M/L Form, 9-17mm thickness	Changed Product Name, Description.

Insert 	Amended benefit.

FI007	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial baseplate, CoCr, cemented, with polished insert 	1-6	Changed Product Name, Description.

Baseplate 	surface for mobile bearing insert	Amended benefit.

FI008	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial Baseplate, uncemented, CoCr with stippled 	1-6	Changed Product Name, Description, Product

Baseplate 	surface titanium plasma spray HA coated  	Sub-Group.

Amended benefit.

FI009	DBK (Dual Bearing Knee) Total Knee System Patella 	All Poly Patella, UHMWPE, cemented, 3 pegs 	S/M/L Form, 23-26-30-34 diameter	Changed Product Name, Description.

Component 	Amended benefit.

Changed Items for Prostheses List Report	Page 65 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

FI010	MRK (Medial Rotation Knee) Total Knee System 	Tibial Baseplate, cemented, Titanium for fixed insert 	1-5	Changed Product Name, Description.

Tibial Baseplate 	Amended benefit.

FI011	MRK (Medial Rotation Knee) Total Knee System 	Tibial Baseplate, uncemented, Titanium with stippled 	1-5	Changed Product Name, Description.

Tibial Baseplate 	surface titanium plasma spray HA coated	Amended benefit.

FI012	MRK (Medial Rotation Knee) Total Knee System 	All Poly Patellar, UHMWPE, 1 central peg, This is a 	20-30mm	Changed Product Name, Description.

Patellar Component	uncemented poly button	Amended benefit.

FI013	Adept MoM Acetabular Component	Porocast beaded Shell , Co Cr, HA coated size 44-66mm	44-66mm Outer diameter going up in 2mm 	Changed Description.

FI014	Adept MoM Acetabular Component - Extra Fixation 	Porocast beaded Shell , Co Cr, HA coated, dysplasia 	46-66mm Outer diameter going up in 4mm 	Changed Description.

Cup	flange

FI018	Freeman Hip Stem	Cobalt Chrome, ridged HA coated, cementless, grit 	165 lengths, diameter 10-12-14-16-18-20, offsets short 	Changed Description.

blast	36mm and medium 40mm

FI019	Freeman Hip Stem	Cobalt Chrome, distal half poslished, cemented	165 lengths, diameter 10-12-14-16-18-20, offsets short 	Changed Description.

36mm and medium 40mm

FI020	Freeman Hip Stem	Cobalt Chrome, distal half poslished, cemented	Diameter 14-16/Short and Medium offset +50mm	Changed Description.

FI021	Adept Hip System	Femoral Hip Stem, cementless, titanium, long stem, 	12 standard sizes and 7 lateralised sizes	Changed Description.

grit blast

FI023	Adept CoC Acetabular component	Biolox forte 'Liner	.	Changed Description.

FI024	DBK (Dual Bearing Knee) Total Knee System Tibial 	Tibial Insert, UHMWPE, mobile bearing, posterior 	S/M/L Form, 9-17mm thickness	Changed Product Name, Description.

Insert 	stabilised, using peg 	Amended benefit.

FI025	DBK (Dual Bearing Knee) Total Knee System 	Femoral Component, Cemented, CoCr 	Sizes 1-6, Left and Right	Changed Product Name, Description, Product

Femoral Component 	Sub-Group.

Amended benefit with $800.00 gap.

FI026	DBK (Dual Bearing Knee) Total Knee System 	Femoral Component, uncemented, CoCr with stippled 	Sizes 1-6, Left and Right	Changed Product Name, Description, Product

Femoral Component 	surface titanium plasma spray HA coated  	Sub-Group.

Amended benefit.

FI027	MRK (Medial Rotation Knee) Total Knee System 	Tibial Insert, UHMWPE, Fixed	1/2/3, 8-18mm thickness	Changed Product Name, Description, Product

Tibial Insert	Sub-Group.

Amended benefit.

FI028	MRK (Medial Rotation Knee) Total Knee System 	Femoral Component, Cemented, CoCr	0-5 Left and Right	Changed Product Name, Description, Product

Femoral Component 	Sub-Group.

Amended benefit.

FI029	MRK (Medial Rotation Knee) Total Knee System 	Femoral Component, uncemented, CoCr with stippled 	0-5 Left and Right	Changed Product Name, Description, Product

Femoral Component 	surface titanium plasma spray HA coated  	Sub-Group.

Amended benefit with $400.00 gap.

FI030	Box Ankle	Tibial Component CoChr. Cementless	Small, Medium and Large	Changed Product Group, Product Sub-Group.

FI031	Box Ankle	Talar Component CoChr. Cementless	Small, Medium and Large	Changed Product Group, Product Sub-Group.

FI032	Box Ankle	Meniscal Insert, UHMWPE	Small 5-8mm, Medium 5-8mm and Large 5-8mm	Changed Product Group, Product Sub-Group.

FI034	Delta modular head	Delta ceramic modular head	36-40-44-48mm	Changed Product Sub-Group.

FI035	Delta Modular Head - sleeve	 sleeve for use with Delta Modular Head	neck  length sleeve -3.5, 0. +3.5, +7	Changed Product Group, Product Sub-Group.

Genzyme Australasia Pty Ltd

General/Miscellaneous

Changed Items for Prostheses List Report	Page 66 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GE006	Seprafilm Adhesion Barrier	Sodium hyaluronate carbomethylcellulose membrane	13cm  x 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

GE007	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	3 x 6 inch	Changed Product Group, Product Sub-Group,

Mesh	coated with a biopolymer: a bioresorbable coating of 	Suffix.

modified sodium hyaluronate, 	Amended benefit.

carboxymethylcellulose & polyethylene glycol based

GE008	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	4 x 8 inch	Changed Product Group, Product Sub-Group,

Mesh	coated with a biopolymer: a bioresorbable coating of 	Suffix.

modified sodium hyaluronate, 	Amended benefit.

carboxymethylcellulose & polyethylene glycol based

GE009	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	6 x 8 inch	Changed Product Group, Product Sub-Group,

Mesh	coated with a biopolymer: a bioresorbable coating of 	Suffix.

modified sodium hyaluronate, 	Amended benefit.

carboxymethylcellulose & polyethylene glycol based

GE010	SEPRAMesh IP Bioresorbable Coating/Permanent 	Polypropylene & polyglycolic acid polymer mesh 	8 x 12 inch	Changed Product Group, Product Sub-Group,

Mesh	coated with a biopolymer: a bioresorbable coating of 	Suffix.

modified sodium hyaluronate, 	Amended benefit.

carboxymethylcellulose & polyethylene glycol based

Global Manufacturing Technology Pty Ltd

General/Miscellaneous

GM040	Alpha Infusion Pump	Alpha Infusion Pump Kit, includes Alpha Infusion 	450ml	Changed Product Group, Product Sub-Group,

Pump, introducer needle, syringe, hip pack, labels and 	Suffix.

instructions for use plus Alpha Cath Infusion Catheter	Amended benefit with $40.00 gap.

Neurosurgical

GM025	Maxima/Optima Anterior Cervical Plate System	Cancellous Bone Screws	3.5 x 10mm to 20mm; 4.0 x 10mm to 20mm	Changed Product Sub-Group.

GM027	NeoIC (Neo Interbody Fusion Cage)	Interbody Fusion Cage	Various	Changed Suffix.

GM039	Prima OCT Spinal System	Occiput Plate	One size only	Changed Product Sub-Group.

GM060	Maxima/Optima Anterior Cervical Plate System	Pedicle Screw - Mono Axial Type	4.5 mm -8.5mm Length 25mm-60mm	Changed Product Sub-Group.

GM067	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard	Changed Product Sub-Group.

GM069	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep	Changed Suffix.

GM072	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth - Titanium 	5.5 - 6mm	Changed Product Group, Product Sub-Group,

alloy	Suffix.

GM073	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm	Changed Product Sub-Group.

GM074	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - Titanium alloy	5 - 8mm x 30 - 60mm	Changed Product Sub-Group.

GM075	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium alloy	5.5 - 6mm x 15 - 35mm	Changed Suffix.

GM076	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - Titanium alloy	5.5 - 6mm x 39.5 - 75mm	Changed Product Group, Product Sub-Group,

Suffix.

GM077	AcuFix	Cancellous bone screw - Anterior cervical plate 	4mm x 10 - 18mm	Changed Product Sub-Group.

system - Titanium

GM078	AcuFix	Self tapping wide root screw - Anterior cervical plate 	4mm x 10 - 18mm	Changed Product Sub-Group.

system - Titanium

Changed Items for Prostheses List Report	Page 67 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GM079	AcuFix	Rescue screw - Anterior cervical plate system - 	4.5mm x 10 - 18mm	Changed Product Sub-Group.

Titanium

Orthopaedic

GM008	Edinburgh Total Hip System (Hip Stem)	Femoral Head CoCr	28mm to 40mm	Changed Size.

GM009	C-ment1, C-ment 3, Genta C-ment , Genta C-ment 3	Acrylic Bone Cement	40 grams	Changed Product Group, Product Sub-Group.

GM018	C-ment 1, C-ment 3, Genta C-ment, Genta C-ment 3	Acrylic Bone Cement with Gentamicin	40 grams	Changed Product Group, Product Sub-Group,

Suffix.

GM019	Edinburgh Total Hip System (Hip Stem)	Femoral Head Biolox Ceramic	28mm to 36mm	Changed Size.

GM036	Callos Bone Void Filler	Calcium Phosphate	10cc	Changed Product Group, Product Sub-Group.

GM037	Callos Bone Void filler	Calcium Phosphate	5cc	Changed Product Group, Product Sub-Group.

GM050	Contile Fin II	6.5mm Ti Cnacellous Bone Screws	20 to 50mm	Changed Product Group, Product Sub-Group.

GM056	SMR Modular Hip System	Femoral Head CoCr	22 to 40mm	Changed Description, Size.

GM057	SMR Modular Hip System	Femoral Head Biolox Ceramic	28 to 36mm	Changed Size.

GM092	Apex Global Modular Hip System	Femoral Head CoCr	28mm to 40mm	Changed Description, Size.

GM093	Apex Global Modular Hip System	Femoral Head Ceramic	28mm to 36mm	Changed Size.

GM100	Lobe Lok Total Shoulder System	Glenoid - Metal Backed UHMWPE Ti HA	Small to Large	Changed Product Group, Product Sub-Group,

Suffix.

GM101	Lobe Lok Total Shoulder System	Humeral ReSurf Cap - CrCo	Small to Large	Changed Product Group, Product Sub-Group.

GM102	Lobe Lok Total Shoulder System	CTA Head	Small to Large	Changed Product Group, Product Sub-Group.

GM103	Lobe Lok Total Shoulder System	Contoured Glenoid Flange Ti	Small to Large	Changed Product Group, Product Sub-Group.

GM104	Lobe Lok Total Shoulder System	Lobe Lok Head 30mm CrCo	Small to Large	Changed Product Group, Product Sub-Group.

GM105	Lobe Lok Total Shoulder System	Humeral Socket Ply Insert-UHMWPE	Small to Large	Changed Product Group, Product Sub-Group.

GM106	Lobe Lok Total Shoulder System	Humeral Socket Shell-Ti	small to large	Changed Product Group, Product Sub-Group.

GM110	OsteoBridge	OsteoBridge Nail 60mm to 200mm	7mm, 8mm, 9mm, 10mm, 12mm, 14mm & 16mm	Changed Product Group, Product Sub-Group.

GM111	OsteoBridge	OsteoBridge Spacer	20mm, 25mm & 30mm	Changed Product Group, Product Sub-Group.

Global Medical Solutions Australia Pty Ltd

General/Miscellaneous

GL001	Advantage I-125 Seed	Advantage I-125 per patient up to 120 seeds	3mm x 0.5mm silver rod within 4.5 x 0.8mm sealed 	Changed Product Group, Product Sub-Group.

titanium capsule	Amended benefit.

GL002	Advantage I-125 Seed	Advantage I-125 per seed	3mm x 0.5mm silver rod within 4.5 x 0.8mm sealed 	Changed Product Group, Product Sub-Group.

titanium capsulre	Amended benefit.

Global Orthopaedic Technology

Neurosurgical

GO086	Incompass	Thoracolumbar Fixation System, Offset Connector 	9.5 - 30mm	Changed Product Sub-Group.

Open

Changed Items for Prostheses List Report	Page 68 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GO087	Incompass	Thoracolumbar Fixation System, Offset Connector 	7.5 - 30mm	Changed Product Sub-Group.

Closed

GO100	InFix Interbody Fusion System	Strut	Small - Large	Changed Product Sub-Group, Suffix.

GO104	OctaFix	Occipital Cervical Plating System	Occipital Plate	Changed Product Group, Product Sub-Group,

Suffix.

GO107	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm	Changed Product Sub-Group.

GO122	InFix Interbody Fusion System	Strut	Small - Large	Changed Product Sub-Group, Suffix.

Orthopaedic

GO001	RBK Total Knee System Patella component	Patella component All poly, UHMWPE, cemented, 3 	24mm - 40mm	Changed Product Name, Description.

pegs	Amended benefit.

GO002	RBK Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing	1-5, 10-20mm	Changed Product Name, Description.

Amended benefit.

GO003	RBK Total Knee System Tibial Baseplate 	Tibial baseplate, grit blast, CoCr, cemented, for mobile	0 - 5	Changed Product Name, Description.

bearing insert 	Amended benefit with $1,292.00 gap.

GO004	RBK Total Knee System Tibial Baseplate 	Tibial baseplate, CoCr, beaded, uncemented, for 	1-5	Changed Product Name, Description.

mobile bearing insert 	Amended benefit with $950.00 gap.

GO005	RBK Total Knee System Tibial Baseplate 	Tibial baseplate, CoCr,  uncemented, beaded, with 	1-5	Changed Product Name, Description.

Titanium plasma spray and HA for mobile bearing 	Amended benefit with $758.00 gap.

insert

GO006	RBK Total Knee System Femoral Component 	Femoral Component, CoCr, cemented	0 - 5	Changed Product Name, Description, Product

Sub-Group.

Amended benefit.

GO007	RBK Total Knee System Femoral Component	Femoral Component, uncemented,  beaded, CoCr with 	1-5	Changed Product Name, Description.

HA	Amended benefit.

GO008	RBK Total Knee System Patella component	Patella component, metal back, CoCr, mobile, titanium	sizes 1 - 5	Changed Product Name, Description.

plasma sprayed with HA, uncemented	Amended benefit.

GO031	Global re-surfacing uni-compartmental knee tibial 	All poly, uni compartment, tibial component, 	0-5 6.5mm - 9.5mm regular	Changed Product Name, Description.

component 	UHMWPE	Amended benefit with $102.00 gap.

GO032	Global re-surfacing uni-compartmental knee femoral 	Uni Femoral component, CoCr, cemented 	Size 1-5 Right medial/left lateral; Size 1-5 Left 	Changed Product Name, Description.

component	medial/right lateral	Amended benefit with $1,028.00 gap.

GO035	RBK Total Knee System Patello Femoral (trochlear 	Trochlear Component, cemented, CoCr 	Size 1 to 5	Changed Product Name, Description.

component)	Amended benefit with $890.00 gap.

GO051	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	10ml, 2-5 & 5-10mm	Changed Product Group, Product Sub-Group.

GO052	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	20ml, 2-5 & 5-10ml	Changed Product Group, Product Sub-Group.

GO054	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	High Volume Grafting Kit. 2-5 & 5-10mm	Changed Product Group, Product Sub-Group.

GO055	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based bone 	4cc block	Changed Product Group, Product Sub-Group.

GO057	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	10ml, 2-5 & 5-10mm	Changed Product Group, Product Sub-Group.

GO058	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	20ml. 2-5 & 5-10mm	Changed Product Group, Product Sub-Group.

GO059	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	High Volume Grafting Kit. 2-5 & 5-10mm	Changed Product Group, Product Sub-Group.

GO060	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based bone 	4cc block	Changed Product Group, Product Sub-Group.

GO061	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based bone 	10cc block	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 69 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GO062	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	10ml. 2-5mm	Changed Product Group, Product Sub-Group.

GO063	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	20ml. 2-5mm	Changed Product Group, Product Sub-Group.

GO064	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based bone 	4cc block	Changed Product Group, Product Sub-Group.

GO065	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based bone 	10cc block	Changed Product Group, Product Sub-Group.

GO066	ApaPore	Actifuse. Sterile, hydroxyapatite-based bone matrix	 1-2ml to 10cc	Changed Product Group, Product Sub-Group.

GO067	ApaPore	Actifuse. Sterile, hydroxyapatite-based bone matrix	20cc	Changed Product Group, Product Sub-Group.

GO068	Actifuse	Actifuse Sterile, hydroxyapatite-based bone matrix	High Volume Grafting Kit. 2-5 & 5-10mm	Changed Product Group, Product Sub-Group.

GO092	C-Fix Cable Fixation System	Titanium Leader Cable Assembly	1-1.3mm	Changed Product Group, Product Sub-Group.

GO113	RBK Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior 	Size 0 to 5	Changed Product Name, Description.

stabilised 	Amended benefit.

GO114	RBK Total Knee System Stems 	Tibial and Femoral Stems, cemented, Titanium 	10mm to 24mm thick x 80mm to 170mm long	Changed Product Name, Description.

including locking bolt	Amended benefit with $931.00 gap.

GO115	RBK Total Knee System Tibial Baseplate 	Tibial Baseplate, for mobile insert, CrCo, cemented	Size 00 to 5	Changed Product Name, Description.

Amended benefit.

GO116	RBK Total Knee System Tibial Augments 	Tibial hemi blocks and wedges, CoCr, Titanium 	4mm and 10mm thick	Changed Product Name, Description.

Amended benefit with $1,717.00 gap.

GO117	RBK Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing, posterior 	Size 0 to 5, 10mm to 20mm thick	Changed Product Name, Description.

stabilised with peg, separate bolt fixation that passes

down the peg

GO118	RBK Total Knee System Femoral Augments 	Distal and posterior femoral blocks, titanium	4mm and 10mm thick	Changed Product Name, Description.

Amended benefit with $317.00 gap.

GO119	RBK Total Knee System Rotating hinge bushing 	Rotating Hinge Bushing Mechansim	Complete mechanism	Changed Product Name.

mechanism 	Amended benefit with $2,240.00 gap.

GO120	RBK Total Knee System	Screw, Ti	5mm to 5.7mm x 5mm to 17.5mm long	Amended benefit with $145.00 gap.

GO123	3D Knee System Femoral Component 	Femoral Component, cemented, CoCr 	Size 2 to 12	Changed Product Name, Description, Product

Group.

Amended benefit.

GO124	3D Knee System Femoral Component 	Femoral Component, uncemented,  beaded, CoCr	Size 2 to 12	Changed Product Name, Description, Product

Group.

Amended benefit.

GO125	3D Knee System Tibial Baseplate 	Tibial Baseplate, cemented, CoCr	Size 1 to 12	Changed Product Name, Description.

Amended benefit with $450.00 gap.

GO126	3D Knee System Tibial Baseplate 	Tibial Baseplate, uncemented,  beaded, CoCr and 	Size 1 to 12	Changed Product Name, Description.

Titanium	Amended benefit with $1,236.00 gap.

GO127	3D Knee System Tibial Insert 	Tibial insert, UHMWPE, fixed with lateral pivot with 	Size 1 to 12, 9mm to 19mm	Changed Product Name, Description.

locking screw	Amended benefit.

GO128	3D Knee System Patellar component 	All poly, cemented patella, 3 pegs 	Size 26 to 38mm	Changed Product Name, Description.

Amended benefit.

GO141	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm	Changed Product Group, Product Sub-Group.

GO142	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm	Changed Product Group, Product Sub-Group.

GO143	Foundation Shoulder System	Pegged & Keeled Glenoid, compression moulded 	38mm to 54mm	Changed Product Group, Product Sub-Group.

UHMWPE

Changed Items for Prostheses List Report	Page 70 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GO148	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm	Changed Product Group, Product Sub-Group.

GO149	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large	Changed Product Group, Product Sub-Group,

Suffix.

GO150	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm	Changed Product Group, Product Sub-Group.

GO151	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm	Changed Product Group, Product Sub-Group.

GO152	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset	Changed Product Group, Product Sub-Group.

GO153	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm	Changed Product Group, Product Sub-Group.

GO155	RBK Universal Knee System Tibial Baseplate 	Tibial Baseplate, short keel,  cemented, CoCr, for 	1 - 5	Changed Product Name, Description.

mobile insert 	Amended benefit with $1,292.00 gap.

GO156	RBK Universal Knee System Tibial Baseplate 	Tibial Baseplate, short keel,  uncemented, CoCr, 	1 - 5	Changed Product Name, Description, Product

beaded, for mobile insert 	Sub-Group.

Amended benefit with $950.00 gap.

GO157	RBK Universal Knee System Tibial Baseplate 	Tibial Baseplate, short keel,  uncemented, CoCr, 	1 -5	Changed Product Name, Description.

beaded, with titanium plasma spray and HA, for 	Amended benefit with $758.00 gap.

mobile insert

GO158	RBK Universal Knee System Insert Bolt 	Insert bolt for RBK universal pegged and non pegged 	10mm - 20mm	Changed Product Name, Description.

inserts	Amended benefit.

GO159	RBK Universal Tibial Insert 	Tibial Insert, UHMWPE, fixed, requiring fixation with 	Size 1- 5, 10mm - 20mm	Changed Product Name, Description.

separate bolt 	Amended benefit.

GO160	RBK Universal Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing, requiring 	1-5, 10mm - 20mm	Changed Product Name, Description.

fixation with separate bolt 	Amended benefit.

GO161	Actifuse ABX Easyfill	Actifuse ABX Easyfill - A silicate substituted synthetic	1.5mL to 4mL	Changed Size, Product Group, Product Sub-

bone graft	Group, Suffix.

GO162	Actifuse ABX Easyfill Putty	Actifuse ABX Easyfill Putty - A silicate substituted 	5ml	Changed Product Group, Product Sub-Group.

synthetic bone graft

GO163	Actifuse ABX Easyfill Putty	Actifuse ABX Easyfill Putty - A silicate substituted 	10ml	Changed Product Group, Product Sub-Group.

synthetic bone graft

GO165	Global Cemented Hip - Cement Restrictor	Cement Restrictor	25 x 10mm Type 1 ; 35 x 10mm Type 2 ; Universal 	Changed Product Sub-Group.

Type 3.

GO166	Global Cemented Hip System - Distal Centraliser	Universal Distal Centraliser	universal	Changed Product Sub-Group.

GO167	R120 Centralizer	distal centralizer	9.0 ,10.5, 12.0, 13.5, 15.0, 16.5mm	Changed Product Sub-Group.

GO169	RBK Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, totally 	Size 0 to 5	Changed Product Name, Description, Suffix.

constrained

GO170	Resofix Anchor	Resofix anchor is a 2-shell expansion bolt made of 	Resofix - S Anchor - 10mm; Resofix - P Anchor - 10mm	Changed Product Group, Product Sub-Group,

amorphous poly DL-Lactide resorbablel polyester	Suffix.

Global Scientific Pty Ltd

Plastic and Reconstructive

GS204	Integra Artificial Skin	-	Medium - 10 x 25cm	Changed Product Group, Product Sub-Group.

GS205	Integra Artificial Skin	-	Small - 10 x 12.5cm	Changed Product Group, Product Sub-Group.

GS206	Integra Artificial Skin	-	Large - 20 x 25cm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 71 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Guidant Australia Pty Ltd

Cardio-thoracic

GU129	LV-1 Lead Adaptor to IS-1	Connects Left ventricular leads to IS-1 ports in 	One size only	Changed Product Group.

pacemakers and defibrillators to replace abnormal

cardiac excitation

GU130	Y Adaptor	Connects multiple defibrillator electrodes to a common	One size only	Changed Product Group.

port, enabling the use of shocks to revert Ventricular

Tachycardia and normal cardiac function to return

Gyrus Australasia Pty Ltd

General/Miscellaneous

GY082	SprayGel Air Assisted Sprayer	SK-A-6001 SprayGel Sprayer Kit; AK-A-4210  	One size only;  AK-A-4210 - 5 Applicators/Box	Changed Product Group, Product Sub-Group.

SprayGel Open Surgery Applicator	Amended benefit.

GY083	SprayGel Adhesion Barrier Polymer Kit	PK-A-6010 SprayGel Polymer Kit; PK-A-4210 	One size only; PK-A-4210 - 5 Kits/Box	Changed Product Group, Product Sub-Group.

SprayGel Open Surgery Polymer Kit (10ml)	Amended benefit.

Henry Schein/Halas Pty Ltd

Orthopaedic

HD001	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.25gm	Changed Product Group, Product Sub-Group,

Suffix.

HD002	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.5gm	Changed Product Group, Product Sub-Group,

Suffix.

HD003	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	2.0gm	Changed Product Group, Product Sub-Group,

Suffix.

Heraeus Kulzer Australia Pty Ltd

Neurosurgical

HK002	Osteopal V	Single mix PMMA	26 grams powder; 10ml liquid	Changed Product Sub-Group.

Amended benefit.

Orthopaedic

HK003	Palamed	Single mix PMMA	40 grams	Changed Product Group, Product Sub-Group.

HK004	Palamed G	Single Mix PMMA with with gentamicin	40 grams	Changed Product Group, Product Sub-Group,

Suffix.

HK005	Palacos or Palamed bone cement	Single mix PMMA	40g	Changed Product Group, Product Sub-Group.

Insight Surgical Pty Ltd

Ophthalmic

IS001	Preloaded Capsulan Tension Ring	Capsular tension ring preloaded (acrylic)	13/11mm	Changed Product Group, Product Sub-Group,

Suffix.

IS007	OII PMMA Capsular Tension Ring	Capsular Tension Ring - PMMA	12mm and 13mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 72 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

IQ Medical

Ophthalmic

IQ001	UltraChoice 1.0 Rollable Thinlens Model PHC001	Acrylic, single piece, rollable, refractive multifocal 	Dioptric powers from 10.0 to 30.0 D	Changed Product Sub-Group, Suffix.

with monofocal function meniscus optic,

accommodating intraocular lens with 50 micron edge

IQ002	Ocuvis and Ocumax 2% 	20mg/mL hydroxypropylmethyl cellulose for 	2mL sterile	Changed Product Group, Product Sub-Group.

intraocular use. Pre-loaded in a sterile syringe with

one cannula for injection, in a sterile Tyvek pouch

IQ003	Tetraflex	Acrylic single piece, foldable accommodating 	Available in dioptric powers from +5.0 to +36.0, 1D 	Changed Product Sub-Group, Suffix.

intraocular lens with sqare edge design, custom control	steps: +31.0 to +36.0; 0.5D steps: +5.0 to +18.0 and

precision and closed loop haptic design	+25.0 to +30.0; 0.2D steps; +18.0 to +25.0

Jecoli Pty Ltd

General/Miscellaneous

JO006	Herniamesh Polypropylene Mesh	Hertra Polypropylene Mesh 	4.5cm x 10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JO008	Hertra Oval & Round Patch	Pre-Shrunk Polypropylene Mesh for Inguinal, 	Ovals in 8cm x 12cm, 11cm x 14cm, 14cm x 18cm, &	Changed Product Group, Product Sub-Group,

Laproscopic & Open Hernia Repairs	 10cm round	Suffix.

Amended benefit.

Johnson & Johnson Medical Pty Ltd

General/Miscellaneous

JJ003	Spongostan Absorbable Haemostat	Standard (Box of 20)	70 x 50 x 10mm	Changed Product Group, Suffix.

Amended benefit.

JJ004	Spongostan Absorbable Haemostat	Film (Box of 20)	200 x 70 x 0.5mm	Changed Product Group, Suffix.

Amended benefit with $0.13 gap.

JJ005	Spongostan Absorbable Haemostat	Special (Box of 20)	70 x 50 x 1mm	Changed Product Group, Suffix.

Amended benefit.

JJ006	Spongostan Absorbable Haemostat	Anal 20s (Box of 20)	80 x 30mm	Changed Product Group, Suffix.

Amended benefit.

JJ007	Spongostan Absorbable Haemostat	Anal 5s (Box of 5)	80 x 30mm	Changed Product Group, Suffix.

Amended benefit.

JJ008	Surgicel Nu-Knit Absorbable Haemostat	Large (Box of 24)	7.5 x 10cm	Changed Product Group, Suffix.

Amended benefit.

JJ009	Surgicel Fibrillar Absorbable Haemostat	Small (Box of 24)	2.5 x 5.1cm	Changed Product Group, Suffix.

Amended benefit.

JJ010	Interceed Absorbable Adhesion Barrier	Oxidized Regenerated Cellulose	7.6cm x 10.2cm	Changed Product Group, Product Sub-Group.

Amended benefit with $3.00 gap.

JJ012	Surgicel Absorbable Haemostat	Large (Box of 24)	5 x 35cm or 10 x 20cm	Changed Product Group, Suffix.

Amended benefit.

JJ013	Surgicel Absorbable Haemostat	Medium (Box of 24)	5 x 7.5cm	Changed Product Group, Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 73 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ014	Surgicel Absorbable Haemostat	Small (Box of 24)	1.2 x 5cm	Changed Product Group, Suffix.

Amended benefit.

JJ015	Spongostan Absorbable Haemostat	Dental (Box of 24)	10 x 10 x 10mm	Changed Product Group, Suffix.

Amended benefit.

JJ019	Vypro Mesh	Vicryl/Prolene Composite Mesh	Medium - 15cm x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ020	Vicryl Mesh	1 sheet/box	Large - 30cm x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $13.00 gap.

JJ023	Surgicel Nu-Knit Absorbable Haemostat	Small (Box of 24)	2.5 x 2.5cm	Changed Product Group, Suffix.

Amended benefit.

JJ029	Surgicel Fibrillar Absorbable Haemostat	Large (Box of 24)	10.2 x 10.2cm	Changed Product Group, Suffix.

Amended benefit.

JJ030	Surgicel Fibrillar Absorbable Haemostat	Medium (Box of 24)	5.1 x 10.2cm	Changed Product Group, Suffix.

Amended benefit.

JJ033	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	3-5mm; 6 clips per cartridge	Changed Product Group, Product Sub-Group.

Amended benefit.

JJ034	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	9-12 mm; 6 clips per cartage	Changed Product Group, Product Sub-Group.

Amended benefit with $5.00 gap.

JJ035	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	3-5 mm; 15 clips per cartage	Changed Product Group, Product Sub-Group.

Amended benefit with $7.00 gap.

JJ036	Absolok* Extra Absorbable Ligating Clips 	Polydioxanone clips contained in a plastic cartridge	3-12 mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $4.00 gap.

JJ037	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium clips	3-12 mm; 20 clips per applier	Changed Product Group, Product Sub-Group.

Amended benefit with $5.00 gap.

JJ038	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium clips	3-12 mm; 30 clips per applier	Changed Product Group, Product Sub-Group.

Amended benefit.

JJ039	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium clips; 	5; 20 clips per applier	Changed Product Group, Product Sub-Group.

reloadable 	Amended benefit.

JJ040	Ligaclip* 20/20 Reload Unit	Metal reload cartridge containing titanium clips	5 mm; 20 clips	Changed Product Group, Product Sub-Group.

Amended benefit with $79.00 gap.

JJ041	Proximate* Intraluminal Stapler	Metal/plastic circular straight stapler preloaded with 	21 - 33 mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit.

JJ042	Proximate* Intraluminal Stapler	Metal/plastic circular curved stapler preloaded with 	21 - 33mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit with $19.00 gap.

JJ043	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with titanium 	50 - 60mm	Changed Product Group, Product Sub-Group.

staples	Amended benefit.

JJ044	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with titanium 	75 - 80mm	Changed Product Group, Product Sub-Group.

staples	Amended benefit with $18.00 gap.

JJ045	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with titanium 	100mm	Changed Product Group, Product Sub-Group.

staples	Amended benefit with $90.00 gap.

JJ046	Proximate* Linear Cutter  Staple Reload Unit 	Plastic linear cutter reload cartridge containing 	50 - 60mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit.

Changed Items for Prostheses List Report	Page 74 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ047	Proximate* Linear Cutter  Staple Reload Unit 	Plastic linear cutter reload cartridge containing 	75 - 80mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit with $6.00 gap.

JJ048	Proximate* Linear Cutter Staple Reload Unit	Plastic linear cutter reload cartridge containing 	100mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit with $13.00 gap.

JJ049	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium 	30mm	Changed Product Group, Product Sub-Group.

staples	Amended benefit with $60.00 gap.

JJ050	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium 	55 - 60mm	Changed Product Group, Product Sub-Group.

staples, manual closure	Amended benefit with $80.00 gap.

JJ051	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium 	55 - 60mm	Changed Product Group, Product Sub-Group.

staples, automatic closure	Amended benefit with $80.00 gap.

JJ052	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with titanium 	90mm	Changed Product Group, Product Sub-Group.

staples	Amended benefit with $100.00 gap.

JJ053	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing 	30mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit.

JJ054	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing 	55 - 60mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit.

JJ055	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing 	90mm	Changed Product Group, Product Sub-Group.

titanium staples	Amended benefit with $17.00 gap.

JJ056	Proximate Articulating Linear Stapler	Articulating linear stapler preloaded with titanium 	55mm	Changed Product Group, Product Sub-Group.

staples	Amended benefit with $64.00 gap.

JJ172	Mersilene Mesh	Non-absorbable polyester mesh	30cm x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ173	VICRYL Mesh	Polyglactin 910 - synthetic absorbable mesh.	15cm x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ174	Prolene Mesh 	Small polypropylene monofilament non absorbable 	2.5cm x 10cm	Changed Product Group, Product Sub-Group,

mesh	Suffix.

Amended benefit with $2.00 gap.

JJ175	Prolene Mesh	Medium polypropylene monofilament non absorbable 	7.6cm x 15cm	Changed Product Group, Product Sub-Group,

mesh	Suffix.

Amended benefit.

JJ176	Prolene Mesh	Large polypropylene monofilament non absorbable 	30cm x 30cm	Changed Product Group, Product Sub-Group,

mesh	Suffix.

Amended benefit.

JJ177	Prolene Mesh	Small keyhole polypropylene monofilament non 	4.6cm x 10.2cm	Changed Product Group, Product Sub-Group,

absorbable mesh	Suffix.

Amended benefit.

JJ178	Prolene Mesh	Large keyhole polypropylene monofilament non 	6cm  x 13.7cm	Changed Product Group, Product Sub-Group,

absorbable mesh	Suffix.

Amended benefit.

JJ179	VYPRO Mesh	Vicryl (polyglactin 910) / Prolene (polypropylene) 	30cm x 30cm	Changed Product Group, Product Sub-Group,

composite mesh	Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 75 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ180	Prolene Hernia System	Bilayer polypropylene non absorbable synthetic mesh 	Onlay 4.5-5.5cm x 10cm; Connector 1.91 x 1.27cm; 	Changed Product Group, Product Sub-Group,

with connector	Underlay 7.5-10cm diameter	Suffix.

Amended benefit.

JJ184	Endopath Multi Stapler	Endoscopic titanium stapler with staples	11mm shaft diameter	Changed Product Group, Product Sub-Group.

Amended benefit with $80.00 gap.

JJ186	Ligaclip Endoscopic Multiclip Applier	Metal/plastic stapler with titanium clips	10-12mm shaft diameter	Changed Product Group, Product Sub-Group.

Amended benefit.

JJ187	Ligaclip Allport 5mm Clip Applier	Metal/plastic stapler with titanium clips	5mm shaft diameter	Changed Product Group, Product Sub-Group.

Amended benefit with $94.00 gap.

JJ188	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium staples	45mm; short shaft	Changed Product Group, Product Sub-Group.

Amended benefit with $277.00 gap.

JJ189	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium staples	45mm; long shaft	Changed Product Group, Product Sub-Group.

Amended benefit with $335.00 gap.

JJ190	Endopath ETS Linear Cutter reload	Titanium staple cartridge	45mm	Changed Product Group, Product Sub-Group.

Amended benefit.

JJ191	Endopath Linear Cutter	Metal/plastic cutter-stapler with titanium staples	35mm	Changed Product Group, Product Sub-Group.

Amended benefit with $261.00 gap.

JJ192	Endopath ETS Linear Cutter reload	Titanium staple cartridge	35mm	Changed Product Group, Product Sub-Group.

Amended benefit.

JJ222	Prolene Mesh - medium	Constructed of knitted filaments of extruded 	Medium - 6" x 6"	Changed Product Group, Product Sub-Group,

polypropylene identical to that used in Prolene suture.  	Suffix.

Material is approx. 0.027mm thick.  Non-absorbable 	Amended benefit with $30.00 gap.

mesh for tension free-inguinal hernia techniques.

JJ240	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Small 6 x 11cm	Changed Product Group, Product Sub-Group,

non-absorbable Prolene polypropylene yarn.  Partly 	Suffix.

absorbable lightweight mesh for tension free-inguinal 	Amended benefit.

hernia techniques

JJ241	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Medium 12 x 10cm	Changed Product Group, Product Sub-Group,

non-absorbable Prolene polypropylene yarn.  Partly 	Suffix.

absorbable lightweight mesh for tension free-inguinal 	Amended benefit.

hernia techniques

JJ242	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Large 15 x 10cm	Changed Product Group, Product Sub-Group,

non-absorbable Prolene polypropylene yarn.  Partly 	Suffix.

absorbable lightweight mesh for tension free-inguinal 	Amended benefit with $16.00 gap.

hernia techniques

JJ243	VYPRO II Mesh	Composition - equal part Vicryl polyglactin yarn - 	Extra large 15 x 15cm	Changed Product Group, Product Sub-Group,

non-absorbable Prolene polypropylene yarn.  Partly 	Suffix.

absorbable lightweight mesh for tension free-inguinal 	Amended benefit with $5.00 gap.

hernia techniques

JJ412	Swedish Adjustable Gastric Band	Silicone	One size only	Changed Product Group.

Amended benefit.

JJ413	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat 	5.49cm x 12.50cm 3DPatch large with preshaped 	Changed Product Group, Product Sub-Group,

mesh onlay patch secured to a formed expandable 	overlay	Suffix.

diamond-shaped mesh patch component.	Amended benefit with $20.00 gap.

JJ414	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat 	5.49cm x 12.50cm 3D Patch with medium preshaped 	Changed Product Group, Product Sub-Group,

mesh onlay patch secured to a formed expandable 	overlay	Suffix.

diamond-shaped mesh patch component.	Amended benefit with $20.00 gap.

Changed Items for Prostheses List Report	Page 76 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ415	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat 	5.49cm x 12.50cm 3D Patch medium with extended 	Changed Product Group, Product Sub-Group,

mesh onlay patch secured to a formed expandable 	overlay	Suffix.

diamond-shaped mesh patch component.	Amended benefit with $10.00 gap.

JJ416	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of a flat 	5.49cm x 12.50cm 3D Patch large with extended 	Changed Product Group, Product Sub-Group,

mesh onlay patch secured to a formed expandable 	overlay	Suffix.

diamond-shaped mesh patch component.	Amended benefit with $10.00 gap.

JJ432	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, the 	1in x 3.5in (2.5cm x 8.75cm)	Changed Product Group.

material is biocompatible and also bactericidal. Box of 	Amended benefit.

10.

JJ433	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, the 	6in x 9in (15cm x 22.5cm)	Changed Product Group.

material is biocompatible and also bactericidal. Box of 	Amended benefit.

10.

JJ434	GYNECARE GYNEMESH* PS	Gynecare Gynemesh* PS is a non-absorbable Prolene	10cm x 15cm	Changed Product Group, Product Sub-Group,

soft mesh indicated for tissue reinforcement and long 	Suffix.

lasting stabilisation of fascial structures of the pelvic 	Amended benefit with $15.00 gap.

floor in vaginal wall prolapse. Gynemesh PS* is

constructed of knitted filaments of extruded

polypropylene identical in composition to Prolene*

polypropylene suture. It is packaged sterile, one 10 x

15cm piece per box.

JJ443	Proximate Intraluminal Stapler PPH	Proximate Hemorrhoidal Circular Stapler PPH	One Size Only	Changed Product Group, Product Sub-Group.

Amended benefit with $29.00 gap.

JJ444	Swedish Adjustable Gastric Band - Injection Port & 	Titanium implantable infusion port & locking 	One size only	Changed Product Group.

Locking Connector	connector for the Swedish Adjustable Gastric Band.  	Amended benefit.

Replacement port & locking connector to the one

included with the Swedish Adjustable Gastric Band

JJ446	PROCEED Surgical Mesh	PROCEED Surgical Mesh B1	2x4 (inches)	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $175.00 gap.

JJ447	PROCEED Surgical Mesh	PROCEED Surgical Mesh R1	3x6 inches	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $181.00 gap.

JJ448	PROCEED Surgical Mesh	PROCEED Surgical Mesh N1	4x6 inches oval	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $370.00 gap.

JJ449	PROCEED Surgical Mesh	PROCEED Surgical Mesh D1	4x8 inches	Changed Product Group, Product Sub-Group.

Amended benefit with $318.00 gap.

JJ450	PROCEED Surgical Mesh	PROCEED Surgical Mesh M1	6x6 inches	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $673.00 gap.

JJ451	PROCEED Surgical Mesh	PROCEED Surgical Mesh G1	6x8 inches oval	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $22.00 gap.

JJ452	PROCEED Surgical Mesh	PROCEED Surgical Mesh H1	8x10 inches oval	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $635.00 gap.

Changed Items for Prostheses List Report	Page 77 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ453	PROCEED Surgical Mesh	PROCEED Surgical Mesh J1	8x12 inches	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $70.00 gap.

JJ454	PROCEED Surgical Mesh	PROCEED Surgical Mesh T1	10x13 inches oval	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $1,270.00 gap.

JJ455	PROCEED Surgical Mesh	PROCEED Surgical Mesh W1	10x14 inches	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $952.00 gap.

JJ456	PROCEED Surgical Mesh	PROCEED Surgical Mesh L1	12x12 inches	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $971.00 gap.

JJ464	Divide Absorbable Adhesion Barrier	Oxidised regenerated cellulose	3.8 x 5.1cmm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $41.00 gap.

JJ465	ULTRAPRO Mesh	ULTRAPRO Mesh S3	6 x 11cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ466	ULTRAPRO Mesh	ULTRAPRO Mesh P3	10 x 12cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ467	ULTRAPRO Mesh	ULTRAPRO Mesh N3	10 x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ468	ULTRAPRO Mesh	ULTRAPRO Mesh M3	15 x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $85.00 gap.

JJ469	ULTRAPRO Mesh	ULTRAPRO Mesh T1	15x30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ470	ULTRAPRO Mesh	ULTRAPRO Mesh L1	30x30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $51.00 gap.

JJ474	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40	30mm &, 40mm	Changed Product Group, Product Sub-Group.

Amended benefit with $172.00 gap.

JJ475	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40mm reload 	30mm & 40mm	Changed Product Group, Product Sub-Group.

cartridges	Amended benefit with $23.00 gap.

JJ482	LIGAMAX 5mm Endoscopic Clip Applier	LIGAMAX 5mm Endoscopic Clip Applier	Medium / Large	Changed Product Group, Product Sub-Group.

Amended benefit with $16.00 gap.

JJ564	ECHELON 60mm Endocutter Reload	ECHELON 60mm Endocutter Reload	60mm	Changed Product Group, Product Sub-Group.

Amended benefit.

JJ565	ULTRAPRO Mesh	Composite Mesh	7.6cm x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ566	PROLENE Mesh	Polypropylene Mesh	10 x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 78 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ568	Echelon 60mm Endocutter	Echelon 60mm Endocutter	Standard Compact Long	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $183.00 gap.

JJ576	Ethicon Omnex Surgical Sealant	Omnex Surgical Sealant	0.5 ml	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

JJ585	Ultrapro Hernia System	Ultrapro Hernia System. Mesh Made From Composite 	Small to Large Oval	Changed Product Group, Product Sub-Group,

of Monocryl & Prolene	Suffix.

Amended benefit.

Neurosurgical

DP046	VSP System (Titanium)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	Changed Product Sub-Group, Suffix.

DP049	VSP System (Titanium)	Washers - Standard / Tapered	3 & 5mm	Changed Product Group, Product Sub-Group.

DP301	Moss Miami (Stainless Steel)	Transverse Connector - Complete	One size only	Changed Suffix.

DP305	Moss Miami (Stainless Steel)	Axial Connector	5mm/5mm and 5mm/7mm	Changed Product Sub-Group.

DP306	Moss Miami (Stainless Steel)	Monoaxial Screws	5 - 8mm x 25 - 60mm	Changed Suffix.

DP307	Moss Miami (Stainless Steel)	Polyaxial Screws	5 - 7mm x 25 - 60mm	Changed Suffix.

DP407	Moss Miami (Titanium)	Monoaxial Screw	5 - 8mm x 25 - 60mm	Changed Suffix.

DP408	Moss Miami (Titanium)	Polyaxial Screw	5 - 8mm x 25 - 60mm	Changed Suffix.

DP412	Moss Miami (Titanium)	Transverse Connector - Complete	One size only	Changed Suffix.

DP413	Moss Miami (Titanium)	Axial Connector	5mm/5mm	Changed Product Sub-Group.

DP416	Moss Miami (Titanium)	Washers - Slotted / Angled	One Size Only	Changed Product Sub-Group.

DP430	Moss Miami (Stainless Steel)	Washers - slotted, angled	Slotted/Angled or 3-5mm	Changed Product Group, Product Sub-Group.

DP453	Isola Paediatric System (Stainless Steel)	Threadless TRC - Closed  or Open Body without or 	3/16"	Changed Description, Product Group, Product

with Rod 	Sub-Group, Suffix.

DP462	Isola System (Stainless Steel)	Wedding Band	1/4 " & 3/16"	Changed Product Sub-Group.

DP466	Isola System (Titanium)	Wedding Band	1/4" & 3/16"	Changed Product Sub-Group.

DP480	Isola System (Stainless Steel)	Wire with Button or Beaded Wire	18 and 20 gauge wire	Changed Size.

DP490	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	Changed Product Sub-Group.

DP492	Isola System (Titanium)	Iliac Screws	6.25mm & 7.0mm	Changed Product Sub-Group, Suffix.

DP494	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	Changed Product Name, Description, Size,

Product Sub-Group.

DP495	Isola Paediatric System (Stainless Steel)	Growth/Tandem Connector	3/16"	Changed Suffix.

DP499	Isola System (Titanium)	Transverse Connector or Dual Rod Connector	1/4" & 3/16"	Changed Suffix.

DP505	Anterior Isola System (SS)	Rod with Hex End	1/4" x 18"	Changed Product Sub-Group.

DP576	Kaneda Anterior Scoliosis System  S/S	Open Screw - Standard or Blunt	3/16" - 6.25mm x 25 - 50mm	Changed Suffix.

DP581	Kaneda Anterior Scoliosis System  S/S	Staple Single or Double Hole	Small - Large	Changed Product Sub-Group.

DP830	Profile Anterior Thoracolumbar Plate System	Cancellous Screw	6mm x 20 - 60mm	Changed Product Sub-Group.

DP831	Profile Anterior Thoracolumbar Plate System	Cancellous Bolt	7mm x 25 - 60mm	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 79 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP833	Profile Anterior Thoracolumbar Plate System	Graft Screw	15 - 30mm  	Changed Product Sub-Group.

DP843	Moss Miami (Titanium)	Sacral Extender	5mm x 5 - 20mm length	Changed Product Group, Product Sub-Group,

Suffix.

DP847	Moss Miami 4mm Anterior System (SS)	Screws - Monoaxial	6mm x 25 - 55mm	Changed Suffix.

DY062	Brazenor Device	Custom Cervical Buttress	One size only	Changed Product Sub-Group.

DY100	Isola System (Stainless Steel)	Threadless TRC - Closed or Open Body with or without	1/4" & 3/16"	Changed Description.

Rod

DY105	Isola System (Titanium)	Eye Rod	1/4" x 18"	Changed Product Sub-Group, Suffix.

DY121	VSP System (Stainless Steel)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	Changed Product Sub-Group, Suffix.

DY127	VSP System (Stainless Steel)	Washers - Standard / Tapered	Changed Product Group, Product Sub-Group.

DY170	Monarch Spinal System	Bolts - Pedicle & Reduction	4.75 - 8.5 mm x 30 - 55mm	Changed Product Sub-Group, Suffix.

DY176	Monarch Spinal System	Washer	One size only	Changed Description, Product Sub-Group.

DY289	Crossover System (Titanium)	Crossconnector	Small 18-30mm	Changed Suffix.

DY290	Crossover System (Titanium)	Crossconnector	Medium 32-45mm	Changed Suffix.

DY292	Crossover System (Titanium)	Crossconnector	Large 45-107mm	Changed Suffix.

DY300	Slim-loc Anterior Cervical Plate System	Screws self tapping	4.5 x 12 - 26mm	Changed Description, Size, Product Sub-Group.

DY301	Slim-loc Anterior Cervical Plate System	Screws - Large Diameter	4.8 x 12-16mm	Changed Product Sub-Group.

DY302	Slim-loc Anterior Cervical Plate System	Screws - Self Drilling	4.5 x 12-18mm	Changed Product Sub-Group.

DY306	Isola System (Titanium)	Threadless TRC - open body with or without rod	1/4" & 3/16"	Changed Product Sub-Group, Suffix.

DY311	Frontier Anterior Scoliosis System (Titanium)	Twist on Internal Cap	One size only	Changed Suffix.

DY333	Summit Cervical Rod System	Occipital Bone Screw	4.5 - 5.25 Dia x 6 -16mm length	Changed Product Sub-Group.

DY334	Summit Cervical Rod System	Transition Rod	3.0/4.0/3.0mm	Changed Suffix.

DY335	Summit Cervical Rod System	Dual Diameter Rod	3x150mm/4.75 - 5.5mm x 270mm	Changed Suffix.

DY336	Summit Cervical Rod System	Cross Connector	One size only	Changed Suffix.

DY337	Summit Cervical Rod System	Open Cable Connector	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY338	Summit Cervical Rod System	Cancellous Bone Screw	3.5-4.5mm x 12-48mm	Changed Product Sub-Group.

DY344	Summit Cervical Rod System	Transverse Connector Hook	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY356	In Motion Lumbar Artificial Disc	End Plates Parallel & Oblique	Small, medium, large	Changed Product Sub-Group, Suffix.

DY359	In Motion Lumbar Artificial Disc	Sliding Core	7.5mm,  8.5mm, 9.5mm, 10.5mm	Changed Suffix.

DY401	Monarch Monoaxial Pedicle Screw	Monarch Monoaxial Pedicle Screw	4.75mm - 8.5mm x 25 to 80mm length	Changed Suffix.

DY420	X-Tenz	Telescopic VBR Cage	16mm	Changed Product Sub-Group.

DY421	X-Tenz	Telescopic VBR Cage	22mm	Changed Product Sub-Group.

DY429	X-Tenz	Telescopic VBR Cage	26mm	Changed Product Sub-Group.

DY430	X-Tenz	Telescopic VBR Cage	28mm	Changed Product Sub-Group.

DY431	Expedium Spine System	Si Polyaxial Screw	4.35 to 7.5mm diameter x 20 - 100mm length	Changed Size.

Changed Items for Prostheses List Report	Page 80 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DY435	Expedium Spine System	Rod	4.5 - 7.5mm Diameter x 12 - 60cm	Changed Size.

DY436	Expedium Spine System	Rod - Pre - lordosed or straight	5.5 - 6.35mm diameter x 35-95mm	Changed Description.

DY439	Expedium Spine System	Di Set Screw	one size	Changed Suffix.

DY440	Expedium Spine System	Di Polyaxial Screw	4.35 -10mm diameter 20 -100mm length	Changed Size.

DY441	Expedium Spine System	Monoaxial Screw	4.35 to 10mm diameter x 20-100mm length	Changed Size, Suffix.

DY452	Swift Spine System	Titanium Anterior Cervical Plate System - 3.8mm 	10 - 18mm	Changed Product Sub-Group.

Self-Drilling/Tapping Screw

DY453	Swift Spine System	Titanium Anterior Cervical Plate System - 4.2mm 	18mm	Changed Product Sub-Group.

Self-Drilling/Tapping Screw

DY454	Swift Spine System	Titanium Anterior Cervical Plate System - 3.8mm 	10 - 28mm	Changed Product Sub-Group.

Bicortical Screw

DY455	Swift Spine System	Titanium Anterior Cervical Plate System - Graft 	10mm	Changed Product Sub-Group.

DY458	Uniplate ACP System	Titanium Anterior Cervical 1 Level Plate	13-22mm	Changed Product Sub-Group.

DY480	Uniplate ACP System	Titanium Anterior Cervical 2 Level Plate	28-40mm	Changed Product Sub-Group.

JJ511	Skyline Cervical Plate System	Skyline anterior cervical plate.  Various size plates. 	Changed Product Group, Product Sub-Group.

Titanium

JJ516	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	Changed Product Group, Product Sub-Group.

JJ517	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	Changed Product Group, Product Sub-Group.

JJ518	AEGIS ALP	Curved anterior lumbar plate	4-25mm	Changed Description, Size, Product Group,

Product Sub-Group.

JJ520	CONCORDE Spine System	Parallel Carbon Fibre Interbody Fusion Device	7 - 13mm	Changed Description, Product Group, Product

Sub-Group.

JJ521	CONCORDE Spine System	Lordotic Carbon Fibre Interbody Fusion Device	7 - 13mm	Changed Description, Product Group, Product

Sub-Group.

JJ522	VIPER Spine System	Viper Polyaxial Screw, Titanium	Changed Product Group, Product Sub-Group,

Suffix.

JJ586	Expedium	Uni-Planar deformity correction (Titanium)	4.35-10mm Diameter, 20- 100mm Length	Changed Product Name, Description, Size.

JJ599	Mountaineer OCT Spinal System	Transverse Connector Plate	21 - 56mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ603	McGuire Bone Screw	Cancellous Bone Screw	3.5mm x 8 - 60mm	Changed Product Sub-Group, Suffix.

JJ608	Expedium SFX Cross Connector System	Cross Connector	5.5mm - 6.35mm rod diameter, 15mm - 100mm length	Changed Suffix.

JJ609	Vertebroplasty System	Vertobroplasty System	One size only	Amended benefit with $1,260.00 gap.

Orthopaedic

DP002	Roseland Thumb	Trap CIM	Small, Large	Changed Product Group, Product Sub-Group.

DP003	LCS Complete Knee System femoral component 	Femoral component, uncemented, CoCr, beaded 	Sizes small to large+	Changed Product Name, Description, Size.

(Porocoat)	Amended benefit.

DP004	LCS Complete Knee System femoral component 	Femoral cemented, CoCr	Sizes small to large+	Changed Product Name, Description, Size,

Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 81 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP015	Roseland Thumb	Meta 1/3 HAC & CIM	Small, Large, Xlarge	Changed Product Group, Product Sub-Group,

Suffix.

DP017	Roseland Thumb	Trap HAC	Small, Large	Changed Product Group, Product Sub-Group.

DP020	Global Advantage Shoulder	Eccentric Head, Cobalt chrome alloy	44- 56mm x 18, 21mm	Changed Product Group, Product Sub-Group,

Suffix.

DP026	LCS Complete Knee System rotating platform tibial 	Tibial insert, for rotating platform, UHMWPE 	Sizes small to large+	Changed Product Name, Description, Size.

Insert 	Amended benefit.

DP029	Global Advantage Shoulder	Revision Stem Titanium alloy	8mm x 200mm - 14mm x 220mm	Changed Product Group, Product Sub-Group,

Suffix.

DP030	Global Advantage Shoulder	Stem Standard, Titanium alloy	6mm - 16mm	Changed Product Group, Product Sub-Group,

Suffix.

DP031	MBT Knee System tibial baseplate 	Tibial baseplate, uncemented, CoCr, beaded 	Sizes 1 - 7	Changed Product Name, Description.

(Porocoat) for rotating platform, (keeled and non 	Amended benefit.

DP032	MBT Knee System tibial baseplate 	Tibial baseplate, cemented, CoCr, for rotating 	Sizes 1 - 7	Changed Product Name, Description.

platform, (keeled and non keeled) 	Amended benefit.

DP035	MBT Knee System tibial baseplate 	Tibial baseplate, uncemented, CoCr, HA (Duofix), 	Size 1-7	Changed Product Name, Description, Size.

beaded (Porocoat) for rotating platform, ( non keeled 	Amended benefit.

only)

DP039	Orthosorb Absorbable Pin	Orthosorb K-Wire  - Stainless Steel	L300 D2.0mm Thread Each	Changed Product Group, Product Sub-Group,

Suffix.

DP040	Bone Screw	Screw Cancellous Titanium	Dia 3.5 or 5 or 6.5 or 7mm length 15 -110mm	Changed Product Group, Product Sub-Group,

Suffix.

DP042	Chandler Plate	Tibial Osteotomy Plate -Stainless Steel	50-70mm	Changed Product Group, Product Sub-Group,

Suffix.

DP043	Chandler Plate	Self Tap Screw 4.5mm Length -Stainless steel	60-100mm	Changed Product Group, Product Sub-Group.

DP077	Global Advantage Shoulder	Global Advantage Stem STD or Long Chrome	Size 8 to 14 or Length 6-16mm	Changed Product Group, Product Sub-Group,

Suffix.

DP081	Global Shoulder	Global Advantage HUM HD 	Size 44 - 52 by size  x 15 /18 or 21	Changed Product Group, Product Sub-Group.

DP086	Global Shoulder 	Global FIN/ Peg  Glenoid	Size 40-56	Changed Product Group, Product Sub-Group.

DP088	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone Fixation Pins 	2mm	Changed Product Group, Product Sub-Group,

Suffix.

DP089	Orthosorb Absorbable Pin	Orthosorb Pkt3 - Polydiaxanone	40mm x2mm	Changed Product Group, Product Sub-Group,

Suffix.

DP090	Orthosorb Absorbable Pin	Orthosorb Pkt 3 - Polydiaxanone	1mm x 40mm x 1.3mm	Changed Product Group, Product Sub-Group,

Suffix.

DP091	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	40 x 2.0mm	Changed Product Group, Product Sub-Group,

Suffix.

DP092	Orthosorb Absorbable Pin	Orthosorb K Wire  - Stainless Steel Tapered Pins	1 x 40mm x 1.3mm Pk 3	Changed Product Group, Product Sub-Group,

Suffix.

DP093	Orthosorb Absorbable Pin	Orthosorb -Polydiameterxanone	1.3mm	Changed Product Group, Product Sub-Group,

Suffix.

DP094	Orthosorb Absorbable Pin	Orthosorb Pk 2 - Polydiaxanone	40mm x 2.0mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 82 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP095	Orthosorb Absorbable Pin	Orthosorb Arthroscopic Fix-Set - Polydiaxanone	1.3MM	Changed Product Group, Product Sub-Group,

Suffix.

DP099	Coventry Screw System S/S	Cannulated Screws	7.00 mm dia	Changed Product Group, Product Sub-Group,

Suffix.

DP102	Coventry Screw system 	Cannulated Screws	4mm and 4.50 mm	Changed Product Group, Product Sub-Group,

Suffix.

DP105	Coventry Screw system S/S	Standard or Heavy or Extra Heavy Duty Plate	2 -4 or 3- 4 Hole Standard or 130 Deg	Changed Product Group, Product Sub-Group.

DP106	Coventry Screw system S/S	Cancellous Screw	4mm or 4.5mm 16-90mm Length	Changed Product Group, Product Sub-Group.

DP107	CMW Bone Cement	CMW Bone Cement Various  without Antibiotic	20, 40 grams	Changed Product Group, Product Sub-Group.

DP108	CMW Antibiotic Bone Cement 	CMW Bone Cement Various with Antibiotic	20, 40 grams	Changed Product Group, Product Sub-Group,

Suffix.

DP143	PFC Sigma Knee System tibial stems 	Tibial stems cemented and fluted uncemented, 	Sizes 30-150mm	Changed Product Name, Description, Size.

Amended benefit.

DP148	PFC Sigma Knee System femoral component	Femoral component, uncemented, CoCr, Beaded	Size 1-6	Changed Product Name, Description.

Amended benefit.

DP149	PFC Sigma Knee System femoral component	 Femoral component, cemented, CoCr, posterior 	Size 1-6	Changed Product Name, Description.

stabilised	Amended benefit.

DP150	PFC Sigma Knee System TC3 femoral component	Femoral component, cemented, CoCr, totally 	Size 1-6	Changed Product Name, Description, Size,

constrained	Suffix.

Amended benefit.

DP152	PFC Sigma Knee System patella component	Cemented, all poly, oval dome, round dome and inset 	25-50mm	Changed Product Name, Description, Size.

patella 	Amended benefit.

DP153	PFC Sigma Knee System femoral stems 	Femoral stems cemented and fluted uncemented, 	5-7degree, 125-175mm 	Changed Product Name, Description, Size.

titanium with variable angulation  	Amended benefit.

DP155	PFC Sigma Knee System femoral stem bolts	Bolts to connect femoral stem, straight and offset 	Neutral +/- 2mm	Changed Product Name, Description, Size,

Product Sub-Group.

Amended benefit.

DP158	PFC Sigma Knee System femoral  augments 	Distal and posterior femoral augments, CoCr , with 	Sizes  1 - 6.  4-16mm	Changed Product Name, Description, Size.

screws	Amended benefit.

DP161	PFC Sigma Knee System tibial augments 	Tibial wedges (full and hemi) and  hemi blocks, CoCr, 	Size 1-6	Changed Product Name, Description, Size.

with screw	Amended benefit.

DP162	PFC Sigma Knee System  tibial insert 	Tibial insert for AMK Duofix tibial baseplate with 	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

locking post and clip, UHMWPE	Amended benefit.

DP166	PFC Sigma Knee System  tibial insert 	Tibial Insert, rotating platform UHMWPE	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size,

Product Sub-Group.

Amended benefit.

DP232	Suture Wire	Wire Suture Stainless Steel	0.5 to 5mm	Changed Product Group, Product Sub-Group.

DP235	LCS Classic and Universal Knee System tibial baseplate	Tibial baseplate, CoCr, cemented for rotating platform 	Sizes small to large+	Changed Product Name, Description, Size.

Amended benefit.

DP238	LCS Classic and Universal Knee System meniscal 	Tibial inserts, meniscal bearing medial and lateral (by 	Sizes small to large+. 10-20mm	Changed Product Name, Description, Size.

bearing tibial Insert 	2 per procedure)	Amended benefit.

DP254	SROM Noiles Knee System femoral component 	Hinged, CoCr, cemented, femoral component	Sizes xxsmall-large	Changed Product Name, Description, Size,

Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 83 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP255	SROM Noiles Knee System bumper and hinge bearing	Replacements for UHMWPE axis bearings and 	Sizes xsmall - medium.  	Changed Product Name, Description, Size,

replacements 	bumpers, for hinged prosthesis 	Product Group, Product Sub-Group.

Amended benefit.

DP257	SROM Noiles Knee System tibial insert	Tibial insert, rotating platform, hinged, with metal axis 	XXSml - Large	Changed Product Name, Description, Size,

ring incorporated and polyethylene axis bearings	Suffix.

Amended benefit.

DP259	SROM Noiles Knee System femoral component 	Tibial baseplate, CoCr, cemented, for rotating platform	Sizes xxsmall-large	Changed Product Name, Description, Size.

insert 	Amended benefit.

DP261	SROM Noiles Knee System tibial sleeves	Tibial metaphyseal sleeve, porous coated, for 	37-61mm	Changed Product Name, Description, Suffix.

proximal bone replacement 	Amended benefit.

DP264	SROM Noiles Knee System patella	All poly, cemented patella 	Sizes 25 - 38mm	Changed Product Name, Description, Size.

Amended benefit.

DP267	SROM Noiles Knee System femoral metaphyseal 	Cap and bolt for end of femoral metaphyseal sleeve if 	One size only	Changed Product Name, Description.

sleeve cap 	stem not used 	Amended benefit.

DP268	SROM Noiles Knee System tibial baseplate	Posterior stabilised, CoCr, cemented, femoral	Sizes xxsmall-large	Changed Product Name, Description, Size,

Suffix.

Amended benefit.

DP269	SROM Noiles Knee System femoral augments 	Distal or posterior and combined distal and posterior 	Sizes xxsmall - xlarge.  5-10mm	Changed Product Name, Description, Size.

femoral augments	Amended benefit.

DP270	SROM Noiles Knee System tibial insert	Tibial insert, UHMWPE, posterior stabilised, rotating 	Xsm-lrg. 10-30mm	Changed Product Name, Description, Size.

platform	Amended benefit.

DP271	SROM Noiles Knee System femoral sleeves	Femoral metaphyseal sleeve, porous coated, for distal 	Size 31-46mm	Changed Product Name, Description, Suffix.

bone replacement 	Amended benefit.

DP272	SROM Noiles Knee System stems	Femoral and tibial stems, uncemented, fluted and 	Sizes 100-150mm	Changed Product Name, Description, Size.

slotted including attachment bolt	Amended benefit.

DP330	Tibial Nail System 	Tibial Nail or Dynamic Tibial Nail Titanium Unsterile 	8-13mm x 25.5-42.5cm	Changed Product Group, Product Sub-Group,

or Sterile	Suffix.

DP331	Tibial Nail System 	End Cap Titanium 	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DP338	Tibial Nail System 	Solid Cortical Titanium Screw Unsterile or Sterile	6.5mm x 20 -120mm	Changed Product Group, Product Sub-Group,

Suffix.

DP339	Femoral Nail	End Cap Titanium 	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DP342	Femoral Nail System	Solid Cortical Screw Titanium Sterile or Unsterile	4.5 or 5.5mm x 20-80mm	Changed Product Group, Product Sub-Group,

Suffix.

DP343	Femoral Nail System	Femoral Nail Titanium Sterile or Unsterile	9-15mm x 30- 50cm 	Changed Product Group, Product Sub-Group,

Suffix.

DP363	Control Cable	Control Cable sleeve 	One size only	Changed Product Group, Product Sub-Group.

DP364	Control Cable with Sleeve	Control Cable with sleeve 	One size only	Changed Product Group, Product Sub-Group.

DP366	Supacondylar Nail System	Solid End Cap Titanium Unsterile or Sterile	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DP367	Humeral Nail System	Humeral Nail Titanium Sterile or Unsterile	7-9mm x 22cm-30cm	Changed Product Group, Product Sub-Group,

Suffix.

DP371	Humeral Nail System	End Cap Various Titanium Unsterile or Sterile	One size only	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 84 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP377	AMK Patella 	All poly, cemented 	Size 30 - 38mm	Changed Product Name, Description.

Amended benefit.

DP384	AMK primary locking pin and clip	Normally supplied with insert, this covers separate 	One size only	Changed Product Name, Description.

provision	Amended benefit.

DP391	Ace External Fixator	Pin Holder Bolt - Titanium	15mm	Changed Product Group, Product Sub-Group,

Suffix.

DP445	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with Antibiotic 	50, 80 grams	Changed Product Group, Product Sub-Group,

Bone Cement	Suffix.

DP446	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with Non - 	50, 80 grams	Changed Product Group, Product Sub-Group.

Antibiotic Bone Cement

DP447	Biosel 2	BIOSEL II Dose 5G (Calcium Phosphates)	5g	Changed Product Group, Product Sub-Group.

DP523	LCS Complete Knee System patella component 	Metal backed, CoCr, rotating, cemented 	Sizes small to large+	Changed Product Name, Description, Size.

Amended benefit.

DP524	LCS Complete Knee System patella component 	All Poly patella, UHMWPE, cemented	Sizes small to large+	Changed Product Name, Description, Size.

Amended benefit.

DP528	Nancy Nail System	Pediatric Flexible Nail	2.5 or 3.0 mm x 190 -290mm	Changed Product Group, Product Sub-Group,

Suffix.

DP529	Nancy Nail System	Pediatric Flexible Nail	3.5 mm x  270-350mm	Changed Product Group, Product Sub-Group,

Suffix.

DP531	Nancy Nail System	Pediatric Flexible Nail	4.0 mm x  330-450mm	Changed Product Group, Product Sub-Group,

Suffix.

DP570	AMK Ultra coordinate revision tibial insert 	Tibial Insert UHMWPE, totally constrained, with 	Sizes 1-5, 10-30mm	Changed Product Name, Description, Size,

separate locking post 	Suffix.

Amended benefit.

DP571	Art Retrograde Nail	Femoral Nail Titanium Unsterile or Sterile	9 -12mm x 30 - 50cm	Changed Product Group, Product Sub-Group,

Suffix.

DP572	Nancy Nail System 	Pediatric Flexible Nail	2.0 mm x 130mm	Changed Product Group, Product Sub-Group,

Suffix.

DP573	Neuflex Finger   	Neuflex MCP implant - Anasil Silicone	Size 0-60	Changed Product Group, Product Sub-Group.

DP590	Compression Hip Screw	6.5mm Solid Lag Screw Stainless Steel 	22mm Thread length 40 to 100mm	Changed Product Group, Product Sub-Group.

DP592	Small / Large  Fragment Set	Cannulated Cancellous Lag Screw Titanium	6.8 or 8mm Dia 25-120mm Length 22 or 40mm Thread	Changed Product Group, Product Sub-Group,

Suffix.

DP593	Small / Large  Fragment Set	Cannulated Cancellous Screw 	4mm or 16mm or 32mm Thread, 26-120mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP597	Small / Large  Fragment Set	Solid Cortical Screw Titanium	3.5 mm 10-48 mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP598	Small / Large  Fragment Set	Cannulated Cortical. Bone Screw	3.5 mm length 50-60 mm	Changed Product Group, Product Sub-Group,

Suffix.

DP605	Small / Large  Fragment Set	Cancellous Lag Screw Titanium	4.8 mm Dia 30mm to 60mm	Changed Product Group, Product Sub-Group,

Suffix.

DP608	Small / Large  Fragment Set	Straight Plate Titanium	3-12 Hole	Changed Product Group, Product Sub-Group,

Suffix.

DP609	Small / Large  Fragment Set	100 Tube Plate Titanium	3.5mm Dia and 3 to 8 holes	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 85 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP610	Small / Large  Fragment Set S/S	Femoral Condylar Plate	4-8 Hole   	Changed Product Group, Product Sub-Group.

DP611	Small / Large  Fragment Set	Reconstruction T Plate Titanium	4-8 Hole	Changed Product Group, Product Sub-Group,

Suffix.

DP612	Small / Large  Fragment Set	Active Compression Plate Titanium	3.5mm  5 to 10 Hole	Changed Product Group, Product Sub-Group,

Suffix.

DP613	Small / Large  Fragment Set	Humeral and Radial Plate Titanium Various	Wide - Narrow - Long - Extra Long	Changed Product Group, Product Sub-Group,

Suffix.

DP615	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 8 to 10 holes	Changed Product Group, Product Sub-Group,

Suffix.

DP617	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 14 holes	Changed Product Group, Product Sub-Group,

Suffix.

DP618	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 3 to 7 holes	Changed Product Group, Product Sub-Group,

Suffix.

DP627	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	4mm or 5mm Dia 10-48 mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP632	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	5.0mm Length 50 - 80mm	Changed Product Group, Product Sub-Group,

Suffix.

DP635	Small / Large  Fragment Set	Solid Cancellous Lag Screw  Partial Thread Titanium	4mm Dia 10-60mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP638	Small / Large  Fragment Set	Solid Cancellous Bone Screw Full Thread Titanium	4mm Dia 50-110mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP640	Small / Large  Fragment Set	Cancellous Cannulated  Lag Screw Partial Thread 	4mm 10 to 70mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP643	Small / Large  Fragment Set	Cannulated Cancellous Screw Full Threaded - Stainless	4mm or 7mm x 10 -100mm Length	Changed Product Group, Product Sub-Group,

Steel	Suffix.

DP646	Small / Large  Fragment Set	Washer Titanium - Flat/Cup/Countersink	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DP650	Small / Large  Fragment Set S/S	Cortical Screw - Stainless Steel	1.5 or 2 or 2.7 or 3.5mm x 22 - 44mm Length	Changed Product Group, Product Sub-Group.

DP654	Small / Large  Fragment Set S/S	Cortical Screw Diameter - Stainless Steel	3.5 or 4.5 x 12 - 48mm Length	Changed Product Group, Product Sub-Group.

DP655	Small / Large  Fragment Set S/S	Cortical Self Tapping Screw	3.5 or 4.5 mm x 8-60 mm Length	Changed Product Group, Product Sub-Group.

DP656	Small / Large  Fragment Set S/S	Malleolar Stainless Steel Screw - Stainless Steel	25 - 70mm	Changed Product Group, Product Sub-Group.

DP657	Small / Large  Fragment Set S/S	Malleolar Cann Cor Stainless Steel Screw - Stainless 	25 - 70mm	Changed Product Group, Product Sub-Group,

Steel 	Suffix.

DP658	Small / Large  Fragment Set S/S	Cortical Stainless Steel Cannulated Screw - Stainless 	3.5 x 8-70 mm	Changed Product Group, Product Sub-Group,

Steel	Suffix.

DP660	Small / Large Fragment Set S/S	Cannulated Screw Diameter partially threaded - 	Dia 4 x 10-60	Changed Product Group, Product Sub-Group,

Stainless Steel	Suffix.

DP662	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	6.5mm x 25-140mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP663	Small / Large Fragment Set S/S	Cannulated Cancellous Screw Part Thread Screw	4mm or 6.5mm x 10- 140mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DP664	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	7mm x 25-140mm Length	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 86 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP665	Small / Large Fragment Set S/S	CHS Compression Screw - Stainless Steel	Neutral to +2	Changed Product Group, Product Sub-Group.

DP668	Small / Large Fragment Set S/S	CHS Lag Screw Stainless Steel Sterile and Unsterile	Length 50-145mm	Changed Product Group, Product Sub-Group,

Suffix.

DP670	Small / Large Fragment Set S/S	Tronchanteric Support Plate	Small-Large	Changed Product Group, Product Sub-Group.

DP672	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile	2-8 Hole 95 to 150 Deg	Changed Product Group, Product Sub-Group.

DP673	Small / Large Fragment Set S/S	SCS Plate Sterile	3-9 Hole	Changed Product Group, Product Sub-Group.

DP675	Small / Large Fragment Set S/S	Broad Bone Plate Stainless Steel 	3-6 Hole for 1.5mm	Changed Product Group, Product Sub-Group.

DP678	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm with 2 - 12 Hole	Changed Product Group, Product Sub-Group.

DP683	Small / Large Fragment Set S/S	Cerclage Wire Loop Stainless Steel 	0.8-1.2mm x 280-600	Changed Product Group, Product Sub-Group.

DP689	Small / Large Fragment Set S/S	Condylar Plate & Mini Condylar Plate	1.5mm  or 2mm	Changed Product Group, Product Sub-Group.

DP692	Small / Large Fragment Set S/S	Cloverleaf Plate Stainless Steel     	3-4 Hole	Changed Product Group, Product Sub-Group.

DP693	Small / Large Fragment Set S/S	T-Plate Stainless Steel           	3 up to 8 Hole	Changed Product Group, Product Sub-Group.

DP695	Small / Large Fragment Set S/S	Y-Plate Stainless Steel           	2 + 2 + 4 or 4 + 4 + 4 Slots	Changed Product Group, Product Sub-Group.

DP696	Small / Large Fragment Set S/S	Plates - Mini T or L, Oblique, Straight	2.0mm or 2.7mm with 2-12 Hole	Changed Product Group, Product Sub-Group.

DP701	Small / Large Fragment Set S/S	Bored K/Wire Stainless Steel 	2.0-3.0mm x 80/30-200-15	Changed Product Group, Product Sub-Group,

Suffix.

DP702	Small / Large Fragment Set S/S	Threaded K/Wire	1.5-2.5mm	Changed Product Group, Product Sub-Group.

DP705	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 3-12 Hole	Changed Product Group, Product Sub-Group.

DP708	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 14 to 18 Hole	Changed Product Group, Product Sub-Group.

DP709	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 20-28 Hole	Changed Product Group, Product Sub-Group.

DP714	Small / Large Fragment Set S/S	Reconstruction Plate	2.7mm 8-26 Hole	Changed Product Group, Product Sub-Group.

DP719	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 3-8 Hole	Changed Product Group, Product Sub-Group.

DP723	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 9 - 18 Hole	Changed Product Group, Product Sub-Group.

DP725	Small / Large Fragment Set S/S	Cortical Screw Diameter	3.5 or 4.5 x 55 - 110mm	Changed Product Group, Product Sub-Group.

DP733	Small / Large Fragment Set S/S	Angle Blade Plate DCP Stainless Steel	95 Degrees 14-18 Hole	Changed Product Group, Product Sub-Group.

DP734	Small / Large Fragment Set S/S	Angle Blade Plate DCP	95 Degrees 5 - 12 Hole	Changed Product Group, Product Sub-Group.

DP735	Small / Large Fragment Set S/S	Angle Blade Plate Stainless Steel	95 Degrees 45mm x 8mm	Changed Product Group, Product Sub-Group.

DP737	Small / Large Fragment Set S/S	Angle Blade Plate	90 Degrees 35-50mm x 8-10mm	Changed Product Group, Product Sub-Group.

DP739	Small / Large Fragment Set S/S	Angle Blade Plate	90 Degrees 60 to 65 x 10-15mm	Changed Product Group, Product Sub-Group.

DP741	Small / Large Fragment Set S/S	Broad DCP Plate	6 to 10 Hole	Changed Product Group, Product Sub-Group.

DP744	Small / Large Fragment Set S/S	Broad DCP Plate	11 to 14 Hole	Changed Product Group, Product Sub-Group.

DP746	Small / Large Fragment Set S/S	Broad DCP Plate	16 to 17 Hole	Changed Product Group, Product Sub-Group.

DP749	Small / Large Fragment Set S/S	Broad DCP Plate	18 to 26 Hole	Changed Product Group, Product Sub-Group.

DP753	Small / Large Fragment Set S/S	Blade Plate Stainless Steel	95 Degrees 5-6 Hole	Changed Product Group, Product Sub-Group.

DP754	Small / Large Fragment Set S/S	Cannulated Screw Diameter	4mm x 10-60mm Length	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 87 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP758	Small / Large Fragment Set S/S	Cerclage 	0.8-2.5mm D898	Changed Product Group, Product Sub-Group.

DP759	Small / Large Fragment Set S/S	Washer Spiked, Standard, Cancellous, Cortical & 	One size only	Changed Product Group, Product Sub-Group.

Fastening Wire

DP761	Small / Large Fragment Set S/S	Cancellous Screw	4mm Dia and 10 - 28 Length	Changed Product Group, Product Sub-Group.

DP766	Small / Large Fragment Set S/S	Cancellous Screw 32 Thread - Stainless Steel	Dia 6.5mm x 130-140mm	Changed Product Group, Product Sub-Group.

DP772	Small / Large Fragment Set S/S	Cancellous Screw	6.5mm x 14-110mm Length	Changed Product Group, Product Sub-Group.

DP774	Small / Large Fragment Set S/S	Cancellous Screw 16 or 32 Thread	6.5mm x 25 - 130mm Length	Changed Product Group, Product Sub-Group.

DP776	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	10 Hole 135-150 Deg	Changed Product Group, Product Sub-Group.

DP777	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	12 Hole 135-150 Deg 	Changed Product Group, Product Sub-Group.

DP778	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	12-14 Hole 135-150 Deg	Changed Product Group, Product Sub-Group.

DP780	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or Unsterile	5-14 Hole 135-150 Deg	Changed Product Group, Product Sub-Group.

DP784	Small / Large Fragment Set S/S	CHS Plate Stainless Steel	16 Hole 135-150 Deg   	Changed Product Group, Product Sub-Group.

DP786	Small / Large Fragment Set S/S	Cortical Screw Self Tapping	3.5 or 4.5 x 30 - 110mm Length	Changed Product Group, Product Sub-Group.

DP793	Small / Large Fragment Set S/S	K/Wire Stainless Steel 	0.8 to 3.0 mm x 6-9" or 150-500mm	Changed Product Group, Product Sub-Group.

DP796	Small / Large Fragment Set S/S	Narrow Bone Plate	5-18 Hole	Changed Product Group, Product Sub-Group.

DP802	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm 8-16 Hole	Changed Product Group, Product Sub-Group.

DP809	Small / Large Fragment Set S/S	K-wire standard	1/8 inch	Changed Product Group, Product Sub-Group.

DP810	Small / Large Fragment Set S/S	K-Wire Double Point  each	5/32 inch	Changed Product Group, Product Sub-Group.

DP812	Small / Large Fragment Set S/S	SCS Plate Sterile	10-12 Hole 95 Degrees	Changed Product Group, Product Sub-Group.

DP813	Small / Large Fragment Set S/S	SCS Plate Sterile	14-16 Hole 95 Degrees	Changed Product Group, Product Sub-Group.

DP814	Small / Large Fragment Set S/S	Threaded Steinmann Pin	0.5-3mm	Changed Product Group, Product Sub-Group.

DP820	Small / Large Fragment Set S/S	Cortical Screw Diameter	3.5 or 4.5 x 45 -100mm	Changed Product Group, Product Sub-Group.

DP836	Peak Channelled Plate System	Channel Plate Locking Washer	9 x 13mm	Changed Product Group, Product Sub-Group.

DP837	Peak Channelled Plate System	Cortical Bone Screw	3.5mm	Changed Product Group, Product Sub-Group.

DP858	Songer Cable System  - Stainless Steel	Flanged Crimp/Flat Bar (Pk2) or 2 Hole Bar (Pk 2)	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DP868	Barouk Screw System	Barouk Screw - Titanium	10-34mm Length	Changed Product Group, Product Sub-Group.

DP869	Bridge Plates	Bridge P.F.P. Femoral  / Humeral	90 and 140-170mm	Changed Product Group, Product Sub-Group,

Suffix.

DP871	Agility Ankle System	Agility Ankle Talar	Size 1 - 6	Changed Product Group, Product Sub-Group,

Suffix.

DP878	Barouk System Staples	Varisation Staple  Stainless Steel	26-90Deg x 8-10mm	Changed Product Group, Product Sub-Group.

DP879	Barouk System Staples	Memory Staple - Titanium Alloy	13-20mm Long	Changed Product Group, Product Sub-Group.

DP880	Barouk System Staples	TIFLEX Staple  / Pin -  Titanium	1.6 - 2.5 Dia 7-24mm width 13/15-36/50mm Length	Changed Product Group, Product Sub-Group.

DP882	Twistoff Screw	TwistOff Screw Titanium	11-14mm Long	Changed Product Group, Product Sub-Group.

DP883	Barouk SCR Sys Staples and Buttons	Barouk Screw System Button Prosthesis - SS or Ceramic	8-20mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 88 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP888	Calcaneal Periarticular Plate	Calcaneal Periarticular Plate - Titanium	Extra small to Ex Large	Changed Product Group, Product Sub-Group,

Suffix.

DP891	AMK Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, beaded, HA 	Size 1-5	Changed Product Name, Description.

(Duofix), for fixed insert 	Amended benefit.

DP892	Rockwood Clavical Pin	Rockwood Clavicle Pin + Nut S/S	2.5 to 4.5mm	Changed Product Group, Product Sub-Group,

Suffix.

DP893	Rockwood Clavical Pin	Nut Clavical Pin S/S	2.5 to 4.5mm	Changed Product Group, Product Sub-Group.

DP894	Rockwood Shoulder Screw	Rockwood Shoulder Screw  S/S	One size only	Changed Product Group, Product Sub-Group.

DP895	Rockwood Shoulder Screw	Rockwood Shoulder washer  S/S	One size only	Changed Product Group, Product Sub-Group.

DP896	AC Percu Screw	AC Percu screw S/S	Size 32-52mm	Changed Product Group, Product Sub-Group.

DP897	AC Percu Screw	AC Percu Screw Washer S/S	One size only	Changed Product Group, Product Sub-Group.

DP898	S-Fit Metal Glenoid	S-FIT Glenoid Bearing 	Size 40-52	Changed Product Group, Product Sub-Group.

DP899	S-Fit Metal Glenoid	S-FIT M/B Glenoid 	Size 40-52	Changed Product Group, Product Sub-Group.

DP900	Albizza Nail	Albizza Nail - Stainless Steel	240-320mm Length	Changed Product Group, Product Sub-Group.

DP901	Albizza Nail	Albizza Nail Cotter Screw	3.5 or 4.5 0r 5.5 mm 25-75 mm length	Changed Product Group, Product Sub-Group.

DP904	Periarticular Plating System	Plate Calcaneal  - Titanium	Small - Large	Changed Product Group, Product Sub-Group,

Suffix.

DP905	Periarticular Plating System	Fibula Composite Plate - Titanium  	5 Hole	Changed Product Group, Product Sub-Group,

Suffix.

DP906	Periarticular Plating System	Medial Pilon Plate - Titanium 	3 Hole	Changed Product Group, Product Sub-Group,

Suffix.

DP907	Periarticular Plating System	Meta Plate - Titanium	Sm - Lge  3 Hole	Changed Product Group, Product Sub-Group,

Suffix.

DP908	Periarticular Plating System	Periarticular Pilon Plate  - Titanium	4 to 10 hole	Changed Product Group, Product Sub-Group,

Suffix.

DP909	Periarticular Plating System	SPIDER Plate.(2p/p) Titanium	Sm	Changed Product Group, Product Sub-Group.

DP910	Periarticular Plating System	SPIDER Plate (2p/p) and offset Titanium	Lg	Changed Product Group, Product Sub-Group,

Suffix.

DP911	Periarticular Plating System	Meta Plate - Titanium      	Sm -Lge  5 Hole   	Changed Product Group, Product Sub-Group,

Suffix.

DP912	Periarticular Plating System	Fibula Composite Plate - Titanium  	11 Hole 	Changed Product Group, Product Sub-Group,

Suffix.

DP913	Periarticular Plating System	Fibula Composite Plate - Titanium  	7 Hole 	Changed Product Group, Product Sub-Group,

Suffix.

DP914	Periarticular Plating System	Fibula Composite Plate - Titanium  	9 Hole 	Changed Product Group, Product Sub-Group,

Suffix.

DP915	Periarticular Plating System	Medial Pilon Plate - Titanium	5 Hole 	Changed Product Group, Product Sub-Group,

Suffix.

DP916	Periarticular Plating System	Medial Pilon Plate - Titanium	7 Hole 	Changed Product Group, Product Sub-Group,

Suffix.

DP917	Periarticular Plating System	Periarticular Spider Washer - Titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 89 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DP929	Supacondylar Nail System	Supracondylar Titanium Nail Sterile or Unsterile	10 to 12 mm x 15-30cm	Changed Product Group, Product Sub-Group,

Suffix.

DP931	Small / Large Fragment Set S/S	Solid Cortical Screw Titanium	6.5mm x 40 - 100mm	Changed Product Group, Product Sub-Group,

Suffix.

DP950	Delta Shoulder system	Standard Metaglene  INOX/ ST. Steel + Aluminia+HAC	One size only	Changed Product Group, Product Sub-Group.

DP951	Delta Shoulder system	Revision Metaglene INOX/ ST. Steel + 	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DP952	Delta Shoulder system	Centror Glenoid INOX / ST.Steel / Nichtrostender St.	Size 36-40 /42	Changed Product Group, Product Sub-Group.

DP954	Delta Shoulder system	Metaglene Screw Stainless Steel	3.5mm and 4.5mm	Changed Product Group, Product Sub-Group.

DP956	Delta Shoulder system	Cementless Diaphysis INOX/ ST. Steel + 	Size 1-4	Changed Product Group, Product Sub-Group,

Aluminia+HAC	Suffix.

DP957	Delta Shoulder system	Cemented Epiphysis INOX/ ST. Steel + Aluminia+HAC	Size 1-4 in 26-42mm	Changed Product Group, Product Sub-Group,

Suffix.

DP958	Delta Shoulder system	Humeral Cup Laterilised Polyethylene	36-42mm in  +0 to +6 /STD / LAT /STD Retentive	Changed Product Group, Product Sub-Group,

Suffix.

DP962	Delta Shoulder system	DELTA Humeral Head INOX / ST.Steel / 	36 - 42 mm in +0-+4	Changed Product Group, Product Sub-Group.

Nichtrostender St.

DP964	Delta Shoulder system	Humeral Spacer INOX / ST.Steel / Nichtrostender St.	Dia 36/42 + 9	Changed Product Group, Product Sub-Group.

DP965	Delta Shoulder system	Revision Cementless Diaphysis INOX / ST. Steel + 	Size 1-4	Changed Product Group, Product Sub-Group,

Aluminia+HAC	Suffix.

DP966	Global FX Shoulder	Global FX Stem Chrome	6-12mm and STD and revision 160-220mm length	Changed Product Group, Product Sub-Group.

DP981	SROM Total Hip System (Titanium)	ZT/HA 	Small / Large /XX Large  size 14B-24F	Changed Product Sub-Group.

DY082	Agility Ankle System	Agility Ankle Tibial Shell Right and Left	Size 1-6	Changed Product Group, Product Sub-Group,

Suffix.

DY083	Agility Ankle System	Agility Ankle Tibial Insert and +2	Size 1-6	Changed Product Group, Product Sub-Group.

DY084	A-BSM Bone Cement	2.5g	Changed Product Group, Product Sub-Group.

DY085	A-BSM Bone Cement	5.0g	Changed Product Group, Product Sub-Group,

Suffix.

DY086	A-BSM Bone Cement	10.0g	Changed Product Group, Product Sub-Group,

Suffix.

DY097	Vetebrplastic Cement	Vetebrplastic cement	One size only	Amended benefit.

DY111	LCS Patellofemoral Joint Prosthesis (femoral 	Femoral trochlear component, cemented, CoCr	Sizes small to large+	Changed Product Name, Description, Size.

component) 	Amended benefit.

DY112	Preservation Knee System uni femoral component  	Uni femoral component, cemented, CoCr	Size 1-5	Changed Product Name, Description.

Amended benefit.

DY114	Preservation Knee System uni tibial baseplate	Uni all poly, cemented, tibial baseplate, UHMWPE	Sizes 1 - 5.  7-13.5mm	Changed Product Name, Description, Size.

Amended benefit.

DY117	Preservation Knee System uni tibial baseplate	Uni tibial baseplate, cemented, CoCr, for mobile insert	Size 1-5	Changed Product Name, Description.

Amended benefit.

DY118	Preservation Knee System uni tibial baseplate	Uni tibial baseplate, cemented, CoCr, for fixed insert	Size 1-5	Changed Product Name, Description.

Amended benefit.

Changed Items for Prostheses List Report	Page 90 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DY129	Global Advantage CTA Head	44 x 18 - 56 x 23	Changed Product Group, Product Sub-Group,

Suffix.

DY131	Small / Large  Fragment Set	Low Profile Cannulated Cancellous Screw, Partially 	4mm x 10mm - 48mm Length	Changed Product Group, Product Sub-Group,

Thread	Suffix.

DY135	Barouk Screws	2.5mm x 10-22mm	Changed Product Group, Product Sub-Group.

DY136	Restore Orthobiologic Soft Tissue Implant	Restore Patch	One size only	Changed Product Group, Product Sub-Group.

DY137	Acclaim Elbow	Humeral Stem, Std/Lge	100-200mm	Changed Product Group.

DY138	Acclaim Elbow	Ulnar Stem, Std/Lge-Left/Right	60-85mm	Changed Product Group, Suffix.

DY139	Acclaim Elbow	Humeral Bobbin	One size only	Changed Product Group.

DY140	Acclaim Elbow	Linked Ulnar Metal Bearing or Polyethylene Yoke	One size only	Changed Product Group.

DY142	Acclaim Elbow	Pin Assembly  or Pin or Poly sleeve  or Unlinked Poly	One size only	Changed Product Group, Product Sub-Group.

Ulnar

DY146	Acclaim Elbow	Linked Ulnar Bearing Screw	One size only	Changed Product Group, Product Sub-Group.

DY148	LCS Complete Knee System femoral component 	Femoral component, cemented, CoCr, totally 	Sizes small to large+	Changed Product Name, Description, Size,

constrained	Suffix.

Amended benefit.

DY149	LCS Complete Knee System femoral component 	Femoral component, uncemented, CoCr, beaded 	Sizes small to large+	Changed Product Name, Description, Size,

(Porocoat), totally constrained 	Product Sub-Group.

Amended benefit.

DY151	MBT Knee System tibial baseplate 	Tibial baseplate, cemented, CoCr, for rotating 	Sizes 1-7	Changed Product Name, Description, Size,

platform, also usable with specific hinged insert 	Suffix.

Amended benefit.

DY153	LCS Complete Knee System Augments 	Femoral distal and posterior augments, CoCr, with 	Sizes small to large+.  5-15mm	Changed Product Name, Description, Size.

screws	Amended benefit.

DY156	LCS, PFC and SROM  Knee Systems, femoral 	Universal femoral metaphyseal sleeve, Porocoat, 	20 - 46mm	Changed Product Name, Description, Suffix.

metaphyseal sleeve	smaller size cemented, larger sizes uncemented, titanium	Amended benefit.

DY157	MBT  Knee Systems tibial metaphyseal sleeve	Universal tibial metaphyseal sleeve, Porocoat, smaller	29 - 61mm	Changed Product Name, Description, Size,

size cemented or uncemented, larger sizes 	Suffix.

uncemented, titanium	Amended benefit.

DY159	MBT Knee System tibial augments 	Tibial blocks, with screws, CoCr 	Sizes 1-7. 5-15mm	Changed Product Name, Description, Size.

Amended benefit.

DY162	Fragment Set Small/Large	Low Profile Cannulated Cancellous Screw, Partially 	4mm x 50 - 75mm	Changed Product Group, Product Sub-Group,

Thread	Suffix.

DY164	Small / Large Fragment Set	Low Profile Cannulated Cancellous Screw, Fully 	4mm x 10 - 50mm Length	Changed Product Group, Product Sub-Group,

Suffix.

DY165	Fragment Set Small/Large	Low Profile Cannulated Cancellous Screw, Fully 	4mm x 55 - 75mm	Changed Product Group, Product Sub-Group,

Suffix.

DY187	Limb Preservation System	Proximal Femoral Body Component Left/Right	Neutral in Std, Trochanter body	Changed Product Group, Product Sub-Group,

Suffix.

DY188	Limb Preservation System	Distal Femoral Replacement Component Left/Right	Extra small	Changed Product Group, Product Sub-Group,

Suffix.

DY189	Limb Preservation System	2cm LPS Femoral Stem Cemented (Bowed)	11 mm diameter x 150 mm length - 17 mm diameter 	Changed Product Group, Product Sub-Group.

x 200 mm length

Changed Items for Prostheses List Report	Page 91 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DY190	Limb Preservation System	2cm LPS Femoral Stem Porous Coated (Bowed)	12.5 mm diameter x 150 mm length - 18.5 mm 	Changed Product Group, Product Sub-Group,

diameter x 200 mm length	Suffix.

DY191	Limb Preservation System	Total Femoral Segment Component (Male/Male)	55 mm	Changed Product Group, Product Sub-Group.

DY192	Limb Preservation System	Segmental Component (Male/Female)	25 to 65mm Length	Changed Product Group, Product Sub-Group.

DY193	Limb Preservation System	Standard Cemented Stem (straight)	9 mm diameter x 100 mm length - 17 mm diameter x 	Changed Product Group, Product Sub-Group.

125 mm length

DY194	Limb Preservation System	Standard Porous Stem (straight)	10.5 mm diameter x 100 mm length - 18.5 mm 	Changed Product Group, Product Sub-Group,

diameter x 125 mm length	Suffix.

DY195	Limb Preservation System	Tibial Replacement Component	X-Sm - Med	Changed Product Group, Product Sub-Group,

Suffix.

DY196	Limb Preservation System	Tibial Hinge Insert	X-Sm 12mm height - Med 31 mm height	Changed Product Group, Product Sub-Group.

DY215	Pinnacle Cup/Liners	CoCr "M" Femoral Heads Various Tapers and Neck 	28, 36, 40, 44, 48 mm	Changed Product Group, Product Sub-Group.

Lengths

DY217	Limb Preservation System	Intercalary Segment Component (Male/Female)	55mm	Changed Product Group.

DY218	Ace External Fixator	Olive wire - stainless steel	1.5-1.8mm	Changed Product Group, Product Sub-Group.

DY219	Ace External Fixator	Wire bayonet point - titanium	1.5mm	Changed Product Group, Product Sub-Group.

DY220	Ace External Fixator	Olive wire bayonet point - stainless steel, packet of 3	1.5 or 1.8mm	Changed Product Group, Product Sub-Group,

Suffix.

DY221	Ace External Fixator	Wire bayonet point - stainless steel	1.8mm	Changed Product Group, Product Sub-Group.

DY223	Ace External Fixator	Ring, aluminium	1/3 ring small 6" diameter	Changed Product Group, Product Sub-Group.

DY225	Ace External Fixator	Ring, composite	1/3 ring large	Changed Product Group, Product Sub-Group.

DY226	Ace External Fixator	Ring, composite	1/3 ring medium	Changed Product Group, Product Sub-Group.

DY227	Ace External Fixator	Ring, composite	1/3 ring small	Changed Product Group, Product Sub-Group.

DY228	Ace External Fixator	Threaded Rod, titanium	1/4" x 10cm	Changed Product Group, Product Sub-Group,

Suffix.

DY229	Ace External Fixator	Threaded Rod, titanium	1/4" x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

DY230	Ace External Fixator	Threaded Rod, titanium	1/4" x 20cm	Changed Product Group, Product Sub-Group,

Suffix.

DY231	Ace External Fixator	Threaded Rod, titanium	1/4" x 25cm	Changed Product Group, Product Sub-Group,

Suffix.

DY234	Ace External Fixator	Titanium half pin thread	15-80mm, 155 x 5mm to 220 x 5mm	Changed Product Group, Product Sub-Group,

Suffix.

DY236	Ace External Fixator	Spacer with bolt, titanium	2.5-5mm	Changed Product Group, Product Sub-Group,

Suffix.

DY237	Ace External Fixator	Ring, aluminium	2/3 ring, large 10" diameter	Changed Product Group, Product Sub-Group.

DY238	Ace External Fixator	Ring, composite	2/3 ring, medium	Changed Product Group, Product Sub-Group.

DY240	Ace External Fixator	Ring, aluminium	2/3 ring, small 6" diameter	Changed Product Group, Product Sub-Group.

DY241	Ace External Fixator	Ring, composite	2/3 ring, small	Changed Product Group, Product Sub-Group.

DY242	Ace External Fixator	Stainless steel transfix pin	250/300 x 5mm with 40-70mm thread	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 92 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DY243	Ace External Fixator	Titanium Transfix Pin	250/300 x 5mm with 40-70mm thread	Changed Product Group, Product Sub-Group,

Suffix.

DY244	Ace External Fixator	GRUB screw ACE/FISCHER, titanium	5mm	Changed Product Group, Product Sub-Group.

DY245	Ace External Fixator	TIP CapS, polyethylene	5mm	Changed Product Group, Product Sub-Group.

DY246	Ace External Fixator	Peg, titanium	5mm	Changed Product Group, Product Sub-Group,

Suffix.

DY248	Ace External Fixator	Adaptor rod, titanium	8mm	Changed Product Group, Product Sub-Group.

DY249	Ace External Fixator	Pin holder adaptor, aluminium	90"	Changed Product Group, Product Sub-Group.

DY251	Ace External Fixator	Anchor assembly, titanium	One size only	Changed Product Group, Product Sub-Group.

DY252	Ace External Fixator	Articulation, titanium	One size only	Changed Product Group, Product Sub-Group.

DY253	Ace External Fixator	Bolt clevis, titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY256	Ace External Fixator	Locking nut, titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY257	Ace External Fixator	Nut, stainless steel	One size only	Changed Product Group, Product Sub-Group.

DY258	Ace External Fixator	Position pins I/C foot plate, titanium	One size only	Changed Product Group, Product Sub-Group.

DY259	Ace External Fixator	Ring adapter bolt, titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY260	Ace External Fixator	Ring connector, titanium	One size only	Changed Product Group, Product Sub-Group.

DY262	Ace External Fixator	Spherical nut and washer, titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY263	Ace External Fixator	U rings, aluminium	One size only	Changed Product Group, Product Sub-Group.

DY264	Ace External Fixator	Universal joint, titanium	One size only	Changed Product Group, Product Sub-Group.

DY266	Ace External Fixator	Wire bolt hinge, titanium	One size only	Changed Product Group, Product Sub-Group.

DY267	Ace External Fixator	Wire fixation bolt, cannulated or slotted (stainless steel)	One size only	Changed Product Group, Product Sub-Group,

Suffix.

DY268	Ace External Fixator	Connecting rod, aluminium	X-Short, short, medium or long	Changed Product Group, Product Sub-Group,

Suffix.

DY270	Ace External Fixator	External fixator, aluminium	One size only	Changed Product Group.

DY271	Ace External Fixator	Ring adaptor, titanium	One size only	Changed Product Group, Product Sub-Group.

DY272	Clavicle Pin (Sterile)	Clavicle pin assembly	2.5-4.5mm	Changed Product Group, Product Sub-Group,

Suffix.

DY273	Global FX Porocoat	FX PC Stem Standard / Long	6-12mm	Changed Product Group, Product Sub-Group.

DY288	Acclaim Elbow	Unconstrained Ulnar Poly Bearing	15mm	Changed Product Group, Product Sub-Group.

DY294	Bremer Halo Crown System	Aluminium Crown & Vest	Standard & 3D	Changed Product Group, Product Sub-Group.

DY295	Bremer Halo Crown System	Titanium Skull Pins	Standard & Hi-Fix	Changed Product Group, Product Sub-Group,

Suffix.

DY323	Ace Trochanteric Nail	Trochanteric Lag Screw Sterile	60 to 120mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 93 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DY324	Ace Trochanteric Nail	Trochanteric Anti Rotation Screw Sterile	60 to 100mm	Changed Product Group, Product Sub-Group,

Suffix.

DY325	Ace Trochanteric Nail	Trochanteric End Cap Sterile	5 to 25mm	Changed Product Group, Product Sub-Group,

Suffix.

DY326	Ace Trochanteric Nail	Trochanteric Nails Sterile in Standard or Left or Right	320 x 11 x 130 up to 420 x 13 x 130 or 125 to 140 Deg 	Changed Product Group, Product Sub-Group,

from 9 to 13mm dia	Suffix.

DY360	Global Advantage Shoulder	Anchor Peg Glenoid	40 to 56 mm	Changed Product Group, Product Sub-Group.

DY367	PFC Sigma TC3 Knee System  Tibial Insert 	Tibial Insert, totally constrained, mobile bearing, 	Size 1.5 to 5 thickness of 15.5 to 30mm	Changed Product Name, Description, Suffix.

UHMWPE, with post	Amended benefit.

DY368	LCS Complete Knee System femoral component 	Femoral component, cemented, CoCr	Sizes small to large+	Changed Product Name, Description, Size,

Product Sub-Group.

Amended benefit.

DY371	LCS Complete System femoral component 	Femoral Component, cemented, CoCr, posterior 	Sizes small to large+	Changed Product Name, Description, Size,

stabilised	Product Sub-Group.

Amended benefit.

DY372	LCS Complete Knee System rotating platform tibial 	Tibial insert, rotating platform with post, UHMWPE 	Sizes small to large+. 10-30mm	Changed Product Name, Description, Size,

insert 	Suffix.

Amended benefit.

DY373	LCS Complete Knee System femoral component	Femoral component, uncemented, Porocoat, beaded 	Sizes small to large+	Changed Product Name, Description, Size,

Titanium with TiN surface treatment 	Product Sub-Group, Suffix.

Amended benefit.

DY374	LCS Complete Knee System femoral component 	Femoral component, cemented, Titanium with TiN 	Sizes small to large+	Changed Product Name, Description, Size,

surface treatment 	Product Sub-Group, Suffix.

Amended benefit.

DY377	MBT knee system tibial baseplate 	Tibial baseplate, uncemented, Titanium, TiN, beaded 	Sizes 1 - 7	Changed Product Name, Description, Size,

(Porocoat) for rotating platform, (non keeled only) 	Suffix.

Amended benefit.

DY380	Versa Nail	TTC Fusion Nail Sterile	10mm x 15cm up to 12mm x 25cm	Changed Product Group, Product Sub-Group,

Suffix.

DY381	Versa Nail	TTC Fusion Nail Unsterile	10mm x 15cm up to 12mm x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

DY382	Versa Nail	TTC Nail Cap Unsterile Impinging and Non Impinging	One Size	Changed Product Group, Product Sub-Group,

Suffix.

DY383	Versa Nail	TTC Nail Cap Sterile Impinging and Non Impinging	One Size	Changed Product Group, Product Sub-Group,

Suffix.

DY386	Hoffman Wrist Kit	Hoffman Sterile Wrist Kit	One size only	Changed Product Group, Product Sub-Group.

DY400	Neuflex Finger	Neuflex PIP	1 to 20	Changed Product Group, Product Sub-Group.

DY404	PFC Sigma Knee System RPF femoral component  	Femoral component, cemented, CoCr, high flex, 	Size 1 to 6	Changed Product Name.

posterior stabilised 	Amended benefit.

DY405	PFC Sigma Knee System RPF tibial insert	Tibial insert, UHMWPE, rotating platform for high 	Size 1 - 6.  10-30mm	Changed Product Name, Size, Suffix.

flex with post 	Amended benefit.

DY408	Agility Ankle System	Mobile Bearing	1-6 from 3-11mm	Changed Product Group, Product Sub-Group.

DY409	Agility Ankle System	Wide Ankle Talus	1 to 6	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 94 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

DY410	Hand and Foot Fracture Systems	FRST wist off screw	11 to 14mm	Changed Product Group, Product Sub-Group.

DY411	Hand and Foot Fracture Systems	FRSStandard Staple, Straight	8 to 10mm	Changed Product Group, Product Sub-Group.

DY412	Hand and Foot Fracture Systems	FRS Screw	10mm to 34mm L x 2.5mm Diameter	Changed Product Group, Product Sub-Group.

DY413	Hand and Foot Fracture Systems	FRS .S.O.C Pin	9 to 40 mm Thread Length	Changed Product Group, Product Sub-Group.

DY414	Guepar Radial Implants	Radial Stem, Radial Head	+0 to+4	Changed Product Group, Product Sub-Group.

DY415	Guepar Radial Implants	Radial Stem, Radial Head	14/12mm to 16/16mm	Changed Product Group, Product Sub-Group.

DY416	Total Shoulder System	Global CAP Conserv Head PC, Global CAP Conserv 	40 x 15 to 56 x 21	Changed Product Group, Product Sub-Group,

Head HA	Suffix.

DY417	Total Shoulder System	Global CAP Conserv Head PC, Global CAP Conserv 	40 x 15 to 56 x 21	Changed Product Group, Product Sub-Group,

Head Porous Coated	Suffix.

DY418	Mobile Ankle System	Tibial Tray	Size 1-6	Changed Product Group, Product Sub-Group,

Suffix.

DY419	Mobile Ankle System	Talus	Size 1-6	Changed Product Group, Product Sub-Group,

Suffix.

DY457	PFC Sigma Knee System  tibial insert 	Tibial insert, posterior stabilised, rotating platform 	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

UHMWPE	Amended benefit.

DY460	SROM Noiles Knee System tibial metaphyseal sleeve 	Cap and bolt for end of tibial metaphyseal sleeve if 	One size only	Changed Product Name, Description.

cap 	stem not used 	Amended benefit.

DY465	LCS Classic and Universal Knee System rotating 	Tibial insert, UHMWPE, rotating platform, standard 	Sizes small to large+. 10-30mm	Changed Product Name, Description, Size,

platform tibial insert 	and deep dish, used for revising LCS classic and 	Product Sub-Group.

universal TKA	Amended benefit.

DY467	PFC Sigma Knee System tibial baseplate	Tibial baseplate, cemented, keeled, Titanium, standard 	Size 1-6	Changed Product Name, Description.

and offset keels with capacity for augment and stem 	Amended benefit.

attachment

DY471	PFC Sigma Knee System femoral component	Femoral component, cemented, CoCr	Size 1-6	Changed Product Name, Description, Product

Group, Product Sub-Group.

Amended benefit.

DY477	BioIntrafix Tibial Soft Tissue Fastener (Sheath)	Absorbable composite (TCP/PLA) fixation device 	30mm	Changed Product Group, Product Sub-Group,

(sheath) used in conjunction with a screw	Suffix.

DY481	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, standard and posterior lipped	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

Amended benefit.

DY502	LCS Complete Knee System patella component 	Metal backed, CoCr, rotating, uncemented 	Sizes small to large+	Changed Product Name, Description, Size.

Amended benefit.

JJ002	Meniscal Screw	Bioabsorbable Poly Lactic Acid	.	Changed Product Group, Product Sub-Group,

Suffix.

JJ024	Cross Pin	-	6.5mm x 40, 50mm lengths	Changed Product Group, Product Sub-Group.

JJ071	Mitek Kurosaka Advantage Fixation Screw	Titanium Screw Cannulated - Advantage	7 & 9mm x (15 to 40mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ072	Mitek Kurosaka Fixation Screw	Titanium Screw Cannulated - Profile	7,8 & 9mm x (20 to 30mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ073	Mitek Phantom Screw - Absorbable 	Polylactic acid Bioabsorbable Screw	7,8 & 9mm x (20 to 30mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ075	Mitek Ligament Anchor 	Titanium anchor	6mm x (15 to 25mm)	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 95 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ076	Mitek Ethibond Knotless Suture Anchor	Titanium anchor	2.7 x 10.8 mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ077	Mitek Polypropylene Meniscus Fastner	Polypropylene anchor	6 & 8mm x 4mm 	Changed Product Group, Product Sub-Group.

JJ078	Rigidfix ACL Cross Pin System 	Polylactic acid pin	2.7 & 3.3mm x 42mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ079	Mitek Cancellous Screw Low Profile	Titanium screw	4.5mm x (26 to 76mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ080	Mitek Cancellous Screw Low Profile	Titanium screw	6.5mm x (25 to 55mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ081	Mitek Soft Tissue Washer	Titanium washer	14mm, 17mm & 20mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ082	Mitek Mini Anchor Threader Tab	Titanium Suture Anchor	1.8 x 5.4mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ083	Mitek GII Anchor Threader Tab	Titanium Suture Anchor	2.4 x 8.8mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ084	Mitek Rotator Cuff Anchor Threader Tab	Titanium Suture Anchor	2.8 x 11mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ085	Mitek Super Anchor Threader Tab to bone	Titanium Suture Anchor	2.8 x 11.4mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ086	Mitek Tacit Anchor Threader Tab	Titanium Suture Anchor	2.0 x 3.6mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ087	Mitek Tacit Quick Anchor 	Titanium Suture Anchor	2.0 x 3.6mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ089	Mitek GII QuickAnchor Plus 	Titanium Anchor, with various sutures	2.4 x 8.8mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ091	Mitek Mini QuickAnchor Plus 	Titanium Suture Anchor	1.8 x 5.4mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ093	Mitek Rotator Cuff Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ095	Mitek Super Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11.4mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ096	Mitek Fastin Anchor 	Titanium Suture Anchor	3 x 8.4mm, 4 x 9.7mm, 5.2 x 11.5mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ097	Mitek Fastin RC Anchor 	Titanium Anchor, with various sutures	5 x 13.5mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ098	Panalok RC Quick Anchor Plus 	Polylactic acid absorbable anchor	2.9 x 11.0mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ099	Panalok Absorbable Anchor 	Polylactic acid absorbable anchor	4.1 x 6.0mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ100	Micro Quick Anchor 	Titanium Suture Anchor	1.3 x 3.7mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ124	Intrafix Tibial Sheath	High density polyethylene sheath	7 to 10mm x (15 to 30mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ125	Intrafix Tibial Tapered Screw	Plastic tapered screw	6 to 10mm x (15 to 30mm)	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 96 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ126	Contack Fastener	Polylactic acid tack	(3.5 to 7.5mm) x11.5mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ127	Absolute Absorbable Interference Screw 	Polylactic acid screw	7 to11mm x (23 to 30mm)	Changed Product Group, Product Sub-Group,

Suffix.

JJ128	Cuff Link 	High density plastic link	8mm	Changed Product Group, Product Sub-Group.

JJ231	Bioknotless Anchor	Anchor composition is PLLA	Dia 3.9mm, length 9mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ232	Cufftack rotator cuff anchor	Composition of anchor is a) tack - abosorbable PLA b) 	Anchor diameter 4.5mm, length 23mm	Changed Product Group, Product Sub-Group,

pin - absorbable L PLA c) sleeve - Prolene	Suffix.

JJ233	Panalok RC QuickAnchor Plus DS Panacryl Suture	Anchor composed of PLA, Suture composed of PLA 	Anchor diameter 2.9mm, length 11mm	Changed Product Group, Product Sub-Group,

and PGA	Suffix.

JJ234	Panalok RC QuickAnchor Plus DS Ethibond Suture	Anchor composed of PLA, Suture composed of 	Anchor diameter 2.9mm, length 11mm	Changed Product Group, Product Sub-Group,

polyester	Suffix.

JJ307	Rapidloc Meniscal Repair PLA Tophat with Ethibond 	Composition: PLA Implant and Ethibond Suture, non 	2/0	Changed Product Group, Product Sub-Group,

Suture	absorbable suture	Suffix.

JJ308	Rapidloc Meniscal Repair PLA Tophat with Panacryl 	Composition: PLA Implant and Panacryl Suture	Straight needle, 12 degree curved needle, 27 degree 	Changed Product Group, Product Sub-Group,

Suture	curved needle	Suffix.

JJ337	Biocryl - TCP/PLA Interference Screw	Composition - Tricalcium Phosphate & Polylactic 	7x23mm; 7x30mm; 8x23mm; 8x30mm, 9x23mm; 	Changed Product Group, Product Sub-Group,

9x30mm; 10x23mm; 10x30mm; 11x30mm	Suffix.

JJ420	MiniLok Quick Anchor Plus with Ethibond	Anchor composition is PLA	MiniLok Quick Anchor Plus # 0 Suture OS-2 Needles; 	Changed Product Group, Product Sub-Group,

MiniLok Quick Anchor Plus # 2/0 Suture V5 Needles	Suffix.

JJ421	MicroFix Quick Anchor Plus with Ethibond Suture	Anchor composition is PLA	MicroLok Quick Anchor Plus with 3/0 Ethibond Suture 	Changed Product Group, Product Sub-Group,

and V4 Needles; MicroLok Quick Anchor Plus 4/0 	Suffix.

Ethibond Suture and C1 Needles; MicroLok Quick

Anchor Plus with 4/0 Ethibond and P3 Needles

JJ422	MiniLok Quick Anchor Plus with Panacryl	Anchor composition is PLA	MiniLok Quick Anchor Plus # 2/0 Suture RB1 Needles	Changed Product Group, Product Sub-Group,

Suffix.

JJ424	Panalok RC Loop Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ425	Panalok RC Loop Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ426	Bioknotless RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ427	Lupine Loop Anchor with Panacryl or Orthocord	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ428	BioFastin RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ429	Bioknotless RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ430	BioFastin RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ431	Lupine Loop Anchor with Ethibond	Anchor composition is PLLA	One size only	Changed Product Group, Product Sub-Group,

Suffix.

JJ457	Spiralok Absorbable Dual Eyelet Threaded Suture 	Spiralok is an absorbable threaded Anchor made from 	Diameter 5mm x Length 30mm; Diameter 6.5mm x 	Changed Product Group, Product Sub-Group,

Anchor with Panacryl (with needles)	PLA with Panacryl absorbable suture.	Length 30mm	Suffix.

Changed Items for Prostheses List Report	Page 97 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ458	Spiralok Absorbable Dual Eyelet Threaded Suture 	Spiralok is an absorbable threaded Anchor made from 	Diameter 5mm x Length 30mm;Diameter 6.5mm x 	Changed Product Group, Product Sub-Group,

Anchor with Ethibond (without needles)	PLA with Ethibond non-absorbable polyethylene 	Length 30mm	Suffix.

JJ460	Spiralok Absorbable Dual Eyelet Threaded Suture 	Made from PLA with Ethibond non-absorbable 	Diameter 5mm x Length 30mm; diameter 6.5mm x 	Changed Product Group, Product Sub-Group,

Anchor with Ethibond (with needles)	polyethylene suture	Length 30mm	Suffix.

JJ461	RapidLoc Meniscal Repair System with PDS	PLA (absorbable) backstop and PDS (absorbable) top 	One size only	Changed Product Group, Product Sub-Group,

hat and Panacryl absorbable suture connecting the top 	Suffix.

hat and backstop

JJ462	LCS Complete Knee System femoral component	Femoral component, CoCr, uncemented, beaded, HA 	Sizes small to large+	Changed Product Name, Description, Size.

(Duofix)	Amended benefit.

JJ471	Spiralok Absorbable Dual Eyelet Threaded Suture 	Made from PLA with Panacryl absorbable suture	Diameter 5mm x Length 30mm; Diameter 6.5mm x 	Changed Product Group, Product Sub-Group,

Anchor with Panacryl (without needles)	Length 30mm	Suffix.

JJ472	BioKnotless Anchor with Ethibond	PLA absorbable material with a non-absorbable 	Single Implant: Length 11mm, Diameter 2.9mm	Changed Product Group, Product Sub-Group,

braided Ethibond polyethylene suture	Suffix.

JJ473	BioIntrafix Tibial Soft Tissue Fastener (Screw)	Absorbable composite (TCP/PLA) fixation device 	6-8mm, 7-9mm, 8-10mm by 30mm Length	Changed Product Group, Product Sub-Group.

(screw) used in conjunction with a sheath for the

repair of ACL Soft Tissue Graft

JJ483	SPIRALOK Absorbable Dual Eyelet Threaded Suture 	Absorbable threaded anchor, PLA with Orthocord 	5mm, 6.5mm	Changed Product Group, Product Sub-Group,

Anchor with Orthocord Suture	suture	Suffix.

JJ484	MILAGRO (TCP/PLGA) Interference Screw	MILAGRO (TCP/PLGA) Interference ACL Screw 	7mm x 23mm, 7mm x 30mm, 8mm x 23mm, 8mm x 	Changed Product Group, Product Sub-Group,

System	30mm, 9mm x 23mm, 9mm x 30mm, 9mm x 35mm, 	Suffix.

10mm x 23mm, 10mm x 30mm, 10mm x 35mm,

11mm x 30mm, 11mm x 35mm, 12mm x 30mm,

12mm x 35mm

JJ508	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, moderately cross linked, with	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

peg 	Amended benefit.

JJ509	PFC Sigma Knee System  tibial insert 	Tibial insert, UHMWPE, moderately cross linked	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

Amended benefit.

JJ510	PFC Sigma Knee System tibial baseplate	Tibial baseplate, cemented, keeled, forged CoCr, 	Size 1-6	Changed Product Name, Description, Size,

polished tibial insert surface 	Suffix.

Amended benefit.

JJ525	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	1 Level, 12 - 26mm	Changed Product Name, Description, Size,

Product Sub-Group.

JJ526	Eagle/Eagle Plus Anterior Cervical Plate	 Anterior Cervical Plate	2 Level,  Size 28 - 42mm	Changed Product Name, Description, Size,

Product Sub-Group.

JJ527	Eagle/Eagle Plus Anterior Cervical Plate	Anterior Cervical Plate	3 Level, 42 - 60mm	Changed Product Name, Description, Size,

Product Sub-Group.

JJ528	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self Drilling 3.8mm 10 - 18mm	Changed Product Name, Description.

JJ529	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self-Tapping 3.8mm 10-18mm	Changed Product Name, Description.

JJ530	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self Tapping 4.3mm 10 - 18mm	Changed Product Name, Description.

JJ531	Eagle/Eagle Plus Anterior Cervical Plate	Cervical Screw Titanium	Self drilling 4.3mm 10 - 18mm	Changed Product Name, Description, Size.

JJ532	LCS Complete Knee System tibial insert 	Tibial insert, UHMWPE, rotating platform, totally 	Sizes small to large+. 10-30mm	Changed Product Name, Description, Size,

constrained, with reinforcing post  	Suffix.

Amended benefit.

JJ548	DELTA Xtend	Monobloc Humeral Cemented Epiphysis Standard	1 + 2  8, 10, 12, 14mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 98 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ549	DELTA Xtend	Monobloc Humeral Cemented Epiphysis Revision	1 + 2  8, 10, 12, 14mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ550	DELTA Xtend	Modular Humeral Diaphysis	10, 12, 14, 16mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ551	DELTA Xtend	Modular Centered Epiphysis	1 + 2	Changed Product Group, Product Sub-Group,

Suffix.

JJ552	DELTA Xtend	Modular Eccentric Epiphysis Size 1 Right HA	1 + 2 Left + Right	Changed Product Group, Product Sub-Group,

Suffix.

JJ553	DELTA Xtend	High Mobility Humeral PE Cup	38 + 42;  3, 6, 9mm	Changed Product Group, Product Sub-Group.

JJ554	DELTA Xtend	Delta Xtend CTA Head Dia 48 x 21mm	48 + 52; 21, 26mm	Changed Product Group, Product Sub-Group.

JJ555	DELTA Xtend	Eccentric Glenosphere	38 + 42	Changed Product Group, Product Sub-Group,

Suffix.

JJ556	DELTA Xtend	Standard Glenosphere	38 + 42	Changed Product Group, Product Sub-Group.

JJ557	DELTA Xtend	Non Locking Metaglene Screw Dia 4.5	4.5mm; 18, 24, 30, 36, 42	Changed Product Group, Product Sub-Group.

JJ558	DELTA Xtend	Locking Metaglene Screw Dia 4.5	4.5mm; 24, 30, 36, 42, 48	Changed Product Group, Product Sub-Group,

Suffix.

JJ559	DELTA Xtend	Standard Humeral PE Cup	38 + 42;  3, 6, 9mm	Changed Product Group, Product Sub-Group.

JJ560	DELTA Xtend	Retentive Humeral PE Cup	38 + 42; 6mm	Changed Product Group, Product Sub-Group.

JJ561	DELTA Xtend	Humeral Spacer	9mm	Changed Product Group, Product Sub-Group.

JJ562	DELTA Xtend	Metaglene	.	Changed Product Group, Product Sub-Group.

JJ563	DELTA Xtend	Revision Metaglene	.	Changed Product Group, Product Sub-Group,

Suffix.

JJ577	SmartSet GMV Endurance Medium Viscosity 	PMMA, Styrene Copolymer Bone Cement With 	40 Gram	Changed Product Group, Product Sub-Group,

Antibiotic Bone Cement	Gentamicin	Suffix.

JJ578	SmartSet GHV High Viscosity Antibiotic Bone Cement	Methyl Methacrylate, Methyl Acrylate  Copolymer 	40 Gram	Changed Product Group, Product Sub-Group,

Bone Cement With Gentamicin	Suffix.

JJ580	SmartSet HV High Viscosity Bone Cement	Methyl Methacrylate, Methly Acrylate Copolymer 	40 Gram	Changed Product Group, Product Sub-Group.

Bone Cement

JJ581	SmartSet MV Endurance Medium Viscosity Bone 	PMMA, Styrene Copolymer Bone Cement	40 Gram	Changed Product Group, Product Sub-Group.

Cement

JJ582	SmartMix Cemvac Prefilled Syringe & SmartMix 	SmartMix Vacuum Mixing System Preloaded With 	60g to 100g	Changed Product Group, Product Sub-Group.

Prefilled Bowl	Non Antibiotic Bone Cement

JJ583	SmartMix Cemvac Perfilled Syringe & SmartMix 	SmartMix Vacuum Mixing System Preloaded With 	60g to 100g	Changed Product Group, Product Sub-Group,

Prefilled Bowl With Antibiotic Cement	Antibiotic Bone Cement	Suffix.

JJ584	Femoral Prep Kit	Femoral Preparation Kit	One size only	Changed Product Group, Product Sub-Group.

JJ588	Femoral Intrafix	Screw and Sheath Fixation System for the Femur in 	7mm, 8mm, 9mm and 10mm	Changed Product Group, Product Sub-Group.

ACL repairs

JJ589	PFC Sigma Knee System tibial baseplate	All poly UHMWPE, Cemented, pegged	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

Amended benefit.

JJ590	PFC Sigma Knee System Tibial Baseplate	All poly UHMWPE, cemented, non pegged 	Sizes  1 - 6.  8-30mm	Changed Product Name, Description, Size.

Amended benefit.

Changed Items for Prostheses List Report	Page 99 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ604	Tri-lock Femoral Stem	Uncemented, beaded, not HA, short and standard 	9 primary sizes, 7.5 - 22.5mm	Changed Product Sub-Group.

lengths, no modularity

JJ606	PFC Sigma Knee System femoral component	Femoral component, uncemented, CoCr, beaded 	Size 1-6	Changed Product Name, Description, Size.

(Porocoat)	Amended benefit.

JJ610	Global AP Shoulder	Humeral Stem	Humeral Stem 6mm, 8mm, 10mm, 12mm, 16mm	Changed Product Group, Product Sub-Group.

JJ611	Global AP Shoulder	Humeral Stem Long	Humeral Stem Long - 8mm, 10mm, 12mm, 14mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ612	Global AP Shoulder	Porocoat Coated Humeral Stem	Porocoat Coated Humeral Stem 6mm, 8mm, 10mm, 	Changed Product Group, Product Sub-Group.

12mm, 14mm, 16mm

JJ613	Global AP Shoulder	Humeral Head	Humeral Heads - 40x15, 40x18, 44x15, 44x18, 44x21, 	Changed Product Group, Product Sub-Group.

48x15, 48x18, 48x21, 52x15, 52x18, 52x21, 56x18,

56x21

JJ614	Global AP Shoulder	Humeral Head-Eccentric	Humeral Heads - 40x15, 40x18, 44x15, 44x18, 44x21, 	Changed Product Group, Product Sub-Group,

48x15, 48x18, 48x21, 52x15, 52x18, 52x21, 56x18, 	Suffix.

56x21

JJ615	Global AP Shoulder	Fixed 135 Degree taper Assembly	135 Degree Angle	Changed Product Group, Product Sub-Group.

JJ616	Global AP Shoulder	Ball Taper Adjustable Neck Assembly	N/A	Changed Product Group, Product Sub-Group.

JJ618	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, titanium	Standard, left & right	Changed Product Group, Product Sub-Group,

Suffix.

JJ619	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, titanium	Narrow, wide, short, narrow-left & right	Changed Product Group, Product Sub-Group,

Suffix.

JJ620	Distal Radius Fracture Repair System	DNP, dorsal nail plate, titanium	Standard, left & right	Changed Product Group, Product Sub-Group,

Suffix.

JJ621	Distal Radius Fracture Repair System	Fragment locking plate, titanium	Right, left, straight, Y	Changed Product Group, Product Sub-Group,

Suffix.

JJ622	Distal Radius Fracture Repair System	Locking peg, threaded, partly threaded, smooth, titanium	2.5mm x 14-30mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ623	Distal Radius Fracture Repair System	Bone screw, cancellous/cortical titanium	2.5mm-3.5mm x 10-28mm	Changed Product Group, Product Sub-Group,

Suffix.

JJ624	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	 3 Hole, Left & Right & 4 Hole, Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

JJ625	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	6 Hole, Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

JJ626	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	11 Hole, Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

JJ627	HI S3 Shoulder Fixation System	Peg, Standard Stainless Steel	4mm x 20mm, 25mm, 30mm, 32.5mm, 35mm, 	Changed Product Group, Product Sub-Group.

37.5mm, 40mm, 45mm, 47.5mm, 50mm, 52.5mm,

55mm, 57.5mm, 60mm, 62.5mm & 65mm

JJ628	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 20mm, 25mm, 30mm, 32.5mm &35mm	Changed Product Group, Product Sub-Group.

JJ629	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 37.5mm	Changed Product Group, Product Sub-Group.

JJ630	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 40mm, 45, 47.5mm, 50mm, 52.5mm, 55mm, 	Changed Product Group, Product Sub-Group.

57.5mm, 60mm, 62.5mm, 65mm,

JJ631	HI S3 Shoulder Fixation System	Screw, Multidirectional Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 100 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

JJ632	HI S3 Shoulder Fixation System	Screw, 90 Deg Locking Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38	Changed Product Group, Product Sub-Group,

Suffix.

JJ633	HI S3 Shoulder Fixation System	Set Screw, 90 Deg Locking Titanium	One size	Changed Product Group, Product Sub-Group,

Suffix.

Vascular

JJ057	Palmaz Balloon Expandable Stent	Stainless steel stent	Diameter 4-12mm, length 20-30mm	Changed Product Sub-Group, Suffix.

JJ224	TruFill Pushable coil	Platinum pushable  coil of 1. Straight, 2. C, 3. Flat spiral	Size .014" outer diameter.  Size 2 - 10mm and length 2 	Changed Product Sub-Group, Suffix.

and 4. Complex shapes.  Embolic coil and delivery 	- 100mm

tube.

JJ304	Palmaz Genesis Peripheral Stent and Delivery System	Stainless steel balloon expandable stent mounted on a 	Diameter 4-8mm, length 12-39mm	Changed Product Sub-Group, Suffix.

on Slalom	slalom balloon

JJ305	Palmaz Genesis Peripheral Stent and Delivery System	Stainless steel balloon expandable stent mounted on an 	Diameter 4-8mm, length 12-39mm	Changed Product Sub-Group, Suffix.

on Opta Pro	Opta Pro Balloon

JJ306	Palmaz Genesis Peripheral Stent	Stainless steel peripheral stent	Diameter 4-12mm, length 11-79mm	Changed Product Sub-Group, Suffix.

JJ419	SMART Control Peripheral Stent System	SMART Control is a laser cut nitinol self expanding 	Dia 6-10mm; Length 20, 40, 60, 80, 100mm	Changed Product Sub-Group, Suffix.

stent, used to treat peripheral vessel disease.

JJ423	OPTEASE retrievable vena cava filter	OPTEASE is a laser cut nitinol vena cava filter, used to	Suitable for vessels up to 30mm	Changed Product Sub-Group, Suffix.

treat patients at high risk of pulmonary embolisation

JJ463	PRECISE RX Nitinol Stent System	Nitinol self expandable stent and repid exchange 	Stent Lengths 20, 30, 40mm; Stent Diameter: 5, 6, 7, 8, 	Changed Product Sub-Group, Suffix.

delivery system	9, 10mm

JJ479	PALMAZ GENESIS on CORDIS AMIIA RX .014 	Peripheral balloon expandable stent and rapid 	Lengths: 12, 15, 18, 24mm. Diameter: 4, 4.5, 5, 5.5, 6, 	Changed Product Sub-Group, Suffix.

Delivery System	exchange delivery system	6.5, 7mm

JJ487	Trufill DCS Orbit detachable coil	Complex Mini	2mm - 12mm, 1.5cm - 30cm	Changed Product Group, Product Sub-Group,

Suffix.

JJ567	PALMAZ® BLUE™ .018 Peripheral Stent System	L605 Cobalt Chromium Alloy Balloon Expandable 	12, 15, 18, 24mm length 4, 5, 6, 7mm diameter	Changed Product Sub-Group, Suffix.

Stent

JJ592	SMART Nitinol Stent System	Long 120mm Stent, 6F compatible	6-8mm diameter, 120mm stent length, 120cm 	Changed Product Sub-Group, Suffix.

delivery system

JJ617	SMART Nitinol Stent System	Long 150mm stent, 6F compatible	8-8mm diameter, 150mm length, 120cm delivery 	Changed Product Sub-Group, Suffix.

system

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia

General/Miscellaneous

KA001	Tenckhoff Peritoneal Dialysis Catheter	Adult 2 cuff, Adult 1 cuff, Adult 0 Cuff	42cm to 47cm length. All Peritoneal Catheters 	Changed Product Group, Product Sub-Group.

excluding the Swan Neck Fast Flow Catheter, have an 	Amended benefit with $5.00 gap.

internal diameter of 2.67mm and an external diameter

of 4.95 mm.

KA002	Tenckhoff Peritoneal Dialysis Catheter	Paediatric 2 cuff, Paediatric 1 cuff, Neonatal 1 cuff	31cm to 37 cm length. All Peritoneal Catheters 	Changed Product Group, Product Sub-Group.

excluding the Swan Neck Fast Flow Catheter, have an 	Amended benefit with $15.00 gap.

internal diameter of 2.67mm and an external diameter

of 4.95 mm.

Changed Items for Prostheses List Report	Page 101 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

KA003	Fast Flow Peritoneal Dialysis Catheter 	Swan Neck, 2 cuff	Int.diam: 3.2mm; ext diam 5.49mm.All Peritoneal 	Changed Product Group, Product Sub-Group.

Catheters excluding the Swan Neck Fast Flow Catheter,	Amended benefit with $55.00 gap.

have an internal diameter of 2.67mm and an external

diameter of 4.95 mm.

KA004	Swan Neck Curl Peritoneal Dialysis Catheter	Adult 2 cuff, left	62 cm length. All Peritoneal Catheters excluding the 	Changed Product Group, Product Sub-Group.

Swan Neck Fast Flow Catheter, have an internal 	Amended benefit with $60.00 gap.

diameter of 2.67mm and an external diameter of 4.95

mm.

KA005	Swan Neck or Swan neck Tenckhoff Peritoneal 	Adult-left, Adult-right, Adult, 2 cuff-left, Adult, 2 cuff-	20 to 25cm external segment or 43cm length. All 	Changed Product Group, Product Sub-Group.

Dialysis Catheter	right	Peritoneal Catheters excluding the Swan Neck Fast 	Amended benefit with $35.00 gap.

Flow Catheter, have an internal diameter of 2.67mm

and an external diameter of 4.95 mm.

KA006	Tenckhoff Peritoneal Dialysis Catheter, Curl	Adult, 2 cuffs	57 to 62cm length. All Peritoneal Catheters excluding 	Changed Product Group, Product Sub-Group.

the Swan Neck Fast Flow Catheter, have an internal

diameter of 2.67mm and an external diameter of 4.95

mm.

KA015	Entristar Skin Level Gastrostomy Kits	Skin level non-balloon internal retention bolster 	16fg x 1.5cm, 16fg x 1.7cm, 16fg x 2.0cm, 16fg x 	Changed Product Group, Product Sub-Group.

gastrostomy kit, including Entristar gastrostomy tube, 	2.7cm, 16fg x 3.0cm, 16fg x 3.5cm, 20fg x 1.5cm, 	Amended benefit with $30.00 gap.

accessory bolus and continuous feeding tubes, syringes	20fg x 2.ocm, 20fg x 2.5cm, 20fg x 3.0cm, 20fg x

for inflation and flushin. Patient handbook	3.5cm, 20fg x 4.0cm, 20fg x 4.5cm

KA016	Kangaroo Gastrostomy Feeding Tubes	100% silicone gastrostomy with internal retention 	12fg, 14fg, 16fg, 18fg, 20fg, 22fg, 24fg	Changed Product Group, Product Sub-Group.

balloon	Amended benefit.

KA017	NutriPort Balloon Skin Level Gastrostomy Kit	Skin level silicone balloon gastrostomy kit, including 	12fg x 0.8 - 5.0cm, 14fg x 0.8 - 5.0cm, 16fg x 0.8 - 	Changed Product Group, Product Sub-Group.

NutriPort gastronomy tube, accessory bolus and 	5.0cm	Amended benefit.

continuous feeding tubes, syringes for inflation and

flushing, Patient handbook

Kevin Grundy (IBD) Pty Ltd

Ophthalmic

KG003	Rayner Standard Toric C-Flex	Hydrophilic HEMA-MMA copolymer, foldable with 	5.00mm dia optic, 12.00mm dia overall, cyls 2.0D to 	Changed Product Sub-Group, Suffix.

injector	6.0D in 2D increments	Amended benefit.

KG004	Rayner Premium Toric C-Flex	HEMA-MMA copolymer, foldable with injector	5.75mm dia optic, 12.00mm dia overall, cyls 1.5D to 	Changed Product Sub-Group, Suffix.

11.0D in 0.5D increments	Amended benefit with $1,102.00 gap.

Kimberly-Clark Australia Pty Limited

General/Miscellaneous

KI001	Kimberly-Clark Aust Pty Ltd Enteral Feeding Kit	68914 MIC Gastrostomy Tubes Model 100 Series	MIC* Percutaneous Endoscopic Gastrostomy (P.E.G) 	Changed Product Group, Product Sub-Group.

Feeding Tubes/Kits 14, 20, 24 French #0630 Series 	Amended benefit.

PUSH (OTW) Method & #0640Series PULL Method

KI002	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, Mic* 	68914 MIC Gastrostomy Tubes Model 100 Series	MIC* Percutaneous Endoscopic Gastrostomy (P.E. G)	Changed Product Group, Product Sub-Group.

Percutaneous Endoscopic Gastrostomy (P.E.G) 	 Feeding BASIC Tubes/Kits 14, 20, 24 French#0644 	Amended benefit.

Feeding Tubes/Kits	Series PULL Method

KI003	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, Mic* 	68914 MIC Gastrostomy Tubes Model 100 Series	Feeding Adaptors (Universal or Bolus) for use with 14, 	Changed Product Group, Product Sub-Group.

Percutaneous Endoscopic Gastrostomy (P.E.G) 	20 &24 F MIC* PEG's#0135 &#0136 Series	Amended benefit.

Feeding Tubes/Kits

Changed Items for Prostheses List Report	Page 102 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

KI004	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, MIC-	68914 MIC Gastrostomy Tubes Model 100 Series	MIC-KEY* Low Profile Gastrostomy Feeding 	Changed Product Group, Product Sub-Group.

KEY Low Profile Gastrostomy Feeding Tubes/Kits	Tubes/Kits 14 - 24 French, 0.8 cm - 4.5 cm	Amended benefit.

KI005	Kimberly-Clark Aust Pty Ltd Enteral feeding kit, MIC-	68914 MIC Gastrostomy Tubes Model 100 Series	SECUR-LOK* Extension Sets & Bolus Feeding Sets 	Changed Product Group, Product Sub-Group.

KEY Low Profile Gastrostomy Feeding Tubes/Kits	30.5 cm & 60.9 cm	Amended benefit with $30.00 gap.

KI006	Kimberly-Clark MIC* Transgastric-Jejunal Feeding 	Medical Grade Silicone Construction, Silicone Internal 	16-22 French - 45cm jejunal length - 7-10ml balloon	Changed Product Group, Product Sub-Group.

Tubes (Surgical Placement Kits)	Retention Balloon, SECUR-LOK* External Retention 	Amended benefit with $220.00 gap.

ring, Universal Jejunal Feeding Port Connector,

Gastric Decompression Port, Multiple Gastric &

Jejunal Exit Ports, Tungsten Weighted Jejunal Portion,

Tapered Distal Tip, Radiopaque Stripe, Sterile

KI007	MIC* Gastrostomy Feeding Tube; MIC* Bolus 	Medical Grade Silicone Construction. Silicone Internal 	12fr - 3-5ml balloon, 14fr - 3-5ml balloon, 16fr - 3-	Changed Product Group, Product Sub-Group.

Gastrostomy Tube	Inflatable Retention Balloon, SECU-LOK* External 	5ml balloon, 18fr - 7-10ml balloon, 20fr - 7-10ml 	Amended benefit with $20.00 gap.

Retention Ring, Universal Feeding Port Connector, 	balloon, 22fr - 7-10ml balloon, 24fr - 7-10ml balloon,

Medication Port, Dual Exit Ports, Tapered Distal Tip, 	26fr - 7-10ml balloon, 28fr - 7-10ml balloon, 30fr - 7-

Radiopaque Strip, Sterile.	10ml balloon,

KI008	MIC-KEY Low Profile Transgastric-Jejunal Feeding 	100% medical grade silicone tube. 40/60 tungsten 	16, 18 and 22Fr, 1.0 to 3.5cm stomal length, 15 to 	Changed Product Group, Product Sub-Group.

Tube	weighted jejunal post pyloric feeding tube. Gastric 	45cm jejunal length	Amended benefit with $350.00 gap.

drainage ports, jejunal feeding ports

KI009	MIC Transgastric-Jejunal Feeding Tube	100% medical grade silicone tube. 40/60 tungsten 	16, 18, 22Fr, 15 to 45cm jejunal length, 7-10ml balloon	Changed Product Group, Product Sub-Group.

weighted jejunal post pyloric feeding tube. Gastric 	 volume	Amended benefit.

drainage ports, jejunal feeding ports

Link Orthopaedics  Australia

Orthopaedic

LO001	LINK STAR Ankle Prosthesis	Talar Component, cemented	xx-Small - x- large	Changed Product Group, Product Sub-Group.

LO002	LINK STAR Ankle Prosthesis	Tibial Component, cemented	xx-small - x-large	Changed Product Group, Product Sub-Group.

LO003	LINK STAR Ankle Prosthesis	UHMWEPE Sliding Core	6- 14mm	Changed Product Group, Product Sub-Group.

LO004	LINK STAR Ankle Prosthesis	Talar Component, cmentless	xx- small - x-large	Changed Product Group, Product Sub-Group.

LO005	LINK STAR Ankle Prosthesis	Tibial Component, cementless	xx-small - x-large	Changed Product Group, Product Sub-Group.

LO011	LINK Endo - Model Saddle Prosthesis	Saddle Set Screw for Base Component	One size only	Changed Product Group, Product Sub-Group.

LO012	LINK Endo - Model Saddle Prosthesis	Cobal Chrome, unpolished and long	170mm / Sizes 01-5	Changed Description, Product Group, Product

Sub-Group.

LO013	Link McMinn Acetabular Reconstruction Cup System	Acetabular reconstruction cell	45 - 55 mm	Changed Description.

LO014	Link McMinn Acetabular insert	UHMWPE acetabular Insert unmodified	45 - 55 mm	Changed Product Name, Description.

LO018	LINK IP Acetabular Cup	UHMPE unmodified 	40 - 58mm	Changed Product Name, Description.

LO019	Lubinus eccentric Acetabular Cup	UHMPE constrained	44 - 58mm	Changed Product Name, Description.

LO020	Link femoral body 	Titanium, Grit blast, femoral Body 	35-65mm / 126 & 135 CCD	Changed Product Name, Description.

LO021	Link MP Reconstruction Hip Prosthesis	Stem, grit blast, titanium non HA	12 - 25mm x 160mm	Changed Description.

LO022	Link Prosthesis Femoral Head	Prosthesis Head "B" CoCrMo	Short/medium-short/medium/Long	Changed Product Name.

LO023	Link Prosthesis Femoral  Head	Prosthesis Head "A" Biolox forte Ceramic	Short/medium - short /medium	Changed Product Name, Description.

LO024	Link MP Reconstruction Hip  Prosthesis	Locking bolt 	38 & 58 mm	Changed Description, Product Sub-Group.

Changed Items for Prostheses List Report	Page 103 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LO025	Link femoral body 	Titanium, grit blast, non HA	35-65mm IN 126 & 135 degrees	Changed Product Name, Description.

LO026	lLink spacer 	Titanium, grit blast, non HA 	10mm - 40mm	Changed Product Name, Description.

LO028	LINK Partial Pelvis Replacement	Acetabular reconstruction cage	48-67mm	Changed Description, Product Group, Product

Sub-Group.

LO029	LINK Partial Pelvis Replacement	Acetabular reconstruction cage with inferior flange	48-67mm	Changed Description, Product Group, Product

Sub-Group.

LO030	LINK Partial Pelvis Replacement	Hook for Obturator Foramen Width 	6-12mm	Changed Product Group, Product Sub-Group.

LO031	LINK Endo-Model Partial Pelvis Replacement	Fixation Screws, for Obturator Foramen, including 	20mm - 35mm; four (4) sizes	Changed Product Group, Product Sub-Group.

screw lock

LO032	Link acetabular cup system	Titanium, grit blast, HA	40 - 68mm	Changed Product Name, Description.

LO033	Link aceta bular Insert	UHMWPE acetabular Insert unmodified	40 - 68mm	Changed Product Name, Description.

LO034	CFP Hip Stem	Titanium, grit blast,  HA	Extra small to Extra Large	Changed Description.

LO036	Vario bipolar Cup	Shell with unmodified polyethylene plus locking ring 	44-65mm	Changed Product Name, Description.

LO037	Link Gemini Femoral Component 	Femoral component, cemented, CoCr, microporous	Extra Small - Extra Large	Changed Product Name, Description, Product

Sub-Group.

Amended benefit.

LO038	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee 	Small, medium & large	Changed Product Name, Description, Product

Joint without Anti Lux Device, without Patella Flange	Group, Product Sub-Group.

Amended benefit.

LO039	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee 	Small, medium & large	Changed Product Name, Description, Product

Joint without Anti Lux Device, with Patella Flange	Group, Product Sub-Group.

Amended benefit.

LO040	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee 	Small, medium & large	Changed Product Name, Description, Product

Joint with Anti Lux Device, without Patella Flange but 	Group, Product Sub-Group.

includes UHMWPE full moulded proximal tibial blocks 	Amended benefit.

LO041	LINK Endo Model Rotational Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	Changed Description.

components are hinged and also includes a non weight 	Amended benefit.

bearing UHMWPE insert with locking screw

LO042	LINK Endo Model Knee Patella Component 	Patella Component, UHMWPE, cemented	Small, medium & large	Changed Product Name, Description.

Amended benefit.

LO043	LINK Endo Model Rotational Knee System tibial 	Full tibial blocks made of UHMWPE 	Small, Medium, Large	Changed Product Name, Description.

spacers	Amended benefit.

LO044	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	Changed Product Name, Description.

components are hinged with locking axis and also 	Amended benefit.

includes a non weight bearing UHMWPE insert with

patella flange

LO045	LINK Endo Model Rotational Knee System 	Entire prosthesis in single pack Total Rotational Knee 	Small, medium & large	Changed Product Name, Description, Product

Joint with Anti Lux Device, with Patella Flange but 	Group, Product Sub-Group.

includes UHMWPE full moulded distal femur and 	Amended benefit.

proximal tibial blocks

LO046	LINK Endo Model Rotational Knee System (with 	Entire prosthesis in single pack Total Rotational Knee 	Extra small, small, medium & large	Changed Product Name, Description.

femoral and tibial buildups)	Joint with Anti Lux Device, with Patella Flange and 	Amended benefit.

includes extensive polyethylene distal/ femoral and

proximal tibial moulded spacers

Changed Items for Prostheses List Report	Page 104 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LO047	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	Changed Product Name, Description.

components are hinged with locking axis and also 	Amended benefit.

includes a non weight bearing UHMWPE insert

LO048	LINK Endo Model Hinged Knee System	Entire prosthesis in single pack, femoral and tibial 	Small, medium & large	Changed Product Name, Description.

components are hinged with locking axis and also 	Amended benefit.

includes a non weight bearing UHMWPE insert

without patella flange

LO057	LINK Lubinus Total Patella Glide Replacement 	Patella Component, UHMWPE, cemented	Small, medium & large	Changed Product Name, Description.

(patella component)	Amended benefit.

LO058	LINK Lubinus Total Patella Glide Replacement 	Femoral trochlear Component, cemented, CoCr	Small, medium, large, extra large	Changed Product Name, Description.

(femoral trochlear component)	Amended benefit.

LO059	LINK Endo-Model SLED Uni femoral componet 	Uni Femoral Component, cemented, CoCr	Short, medium-short, medium & large  	Changed Product Name, Description.

Amended benefit.

LO060	LINK Endo-Model SLED Uni Tibial Tray 	Uni tibial tray including UHMWPE insert, cemented, 	7mm-13mm in 45, 50, 55 diameter	Changed Product Name, Description.

CoCr tray	Amended benefit.

LO062	LINK Giebel Blade Plates	-	50- 80mm	Changed Product Group, Product Sub-Group.

LO063	LINK Giebel Blade Plates  - Cortical Screws	-	6-40mm	Changed Product Group, Product Sub-Group.

LO064	LINK May Bone Plates	Many Bone Plates	80 - 122mm	Changed Product Group, Product Sub-Group.

LO066	LINK May Bone Plates	Distal Tibia Plate	158mm	Changed Product Group, Product Sub-Group.

LO067	LINK May Bone Plates	Distal Tibia Plate	194mm	Changed Product Group, Product Sub-Group,

Suffix.

LO068	LINK May Bone Plates	Distal Tibia Plate	230mm	Changed Product Group, Product Sub-Group,

Suffix.

LO070	LINK May Bone Plates	Distal Fibular Plate	158mm	Changed Product Group, Product Sub-Group.

LO071	LINK May Bone Plates	Distal Fibular Plate	194mm	Changed Product Group, Product Sub-Group,

Suffix.

LO072	LINK May Bone Plates	Distal Fibular Plate	230mm	Changed Product Group, Product Sub-Group,

Suffix.

LO076	LINK May Bone Plates	Lateral Proximal Tibia Plate	194mm	Changed Product Group, Product Sub-Group,

Suffix.

LO077	LINK May Bone Plates	Lateral Proximal Tibia Plate	230mm	Changed Product Group, Product Sub-Group,

Suffix.

LO081	LINK May Bone Plates	Medical Proximal Tibia Plate	194mm	Changed Product Group, Product Sub-Group,

Suffix.

LO082	LINK May Bone Plates	Medical Proximal Tibia Plate	230mm	Changed Product Group, Product Sub-Group,

Suffix.

LO086	LINK May Bone Plates	Distal Femur Plate	194mm	Changed Product Group, Product Sub-Group,

Suffix.

LO087	LINK May Bone Plates	Distal Femur Plate	230mm	Changed Product Group, Product Sub-Group,

Suffix.

LO090	LINK May Bone Plates	Proximal Femur Plate	194mm	Changed Product Group, Product Sub-Group,

Suffix.

LO091	LINK May Bone Plates	Proximal Femur Plate	230mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 105 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LO099	Schwabe Plates	Distal Radius Bone Plates	Small & large	Changed Product Group, Product Sub-Group.

LO106	Intramedullary Plug	P/E Intramedullary Plug	12 to 20 mm	Changed Product Group, Product Sub-Group.

LO107	Beta-Cone Cementless Hip Prosthesis	Titanium, grit blast, non HA	9 Stem sizes 1-9 plus additional 9 stems with XL neck 	Changed Description.

length. Total 18 sizes

LO111	Beta-Cone Cementless Hip Prosthesis	Titanium, grit blast, with HA	9 Stem sizes 1-9 plus additional 9 stems with XL neck 	Changed Description.

length.  Total 18 Sizes

LO128	Link Gemini Femoral Component 	Femoral Component, uncemented, CoCr, microporous,	Extra Small - Extra Large	Changed Product Name, Description, Product

HX  Coating (hydroxy apatite)	Sub-Group.

Amended benefit.

LO129	Link Gemini Tibial Baseplate 	Tibial Baseplate, uncemented, Microporous, HX 	Extra Small - Extra Large	Changed Product Name, Description.

coating (hydroxy apatite)	Amended benefit.

LO131	Link Gemini Tibial Insert 	Tibial Insert, UHMWPE, mobile insert 	Extra Small - Extra Large	Changed Product Name.

Amended benefit.

LO133	Waldemar Link MP Reconstruction Hip Prosthesis	Link body, Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	Changed Description, Suffix.

LO134	Waldemar Link MP Reconstruction Hip Prosthesis	Link body, Titanium, grit blast, non HA	35-65mm IN 126 & 135 degrees	Changed Description, Product Sub-Group.

LO135	Waldemar Link MP Reconstruction Hip Prosthesis	Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	Changed Description, Product Sub-Group.

LO136	Waldemar Link MP Reconstruction Hip Prosthesis	Stem	12 x 160, 180, 210, 250 - MP; 14 x 160, 180 -MP; 16 x 	Changed Size.

160, 180 - MP; 18 x 160, 180 - MP; 20 x 160, 180 -

MP; 22.5 x 160, 180 -MP; 25 x 160, 180 - MP

LO137	Waldemar Link MP Reconstruction Hip Prosthesis	Stem	14 - 25mm x 210, 250, 290 & 330mm; 	Changed Size.

LO138	Waldemar Link MP Reconstruction Hip Prosthesis	Stem, titanium, grit blast, HA	14 - 25mm x 210, 250, 290 & 330mm; 12 x 160, 180, 	Changed Description.

210, 250 - MP; 14 x 160, 180 -MP; 16 x 160, 180 - MP;

18 x 160, 180 - MP; 20 x 160, 180 - MP; 22.5 x 160,

180 -MP; 25 x 160, 180 - MP

LO140	Link Body 	Titanium, grit blast, non HA	35 - 65mm	Changed Product Name, Description, Size,

Product Sub-Group.

LO141	Link MP reconstruction hip prostheses	Titanium, grit blast, HA	38 & 58 mm	Changed Product Name, Description, Product

Sub-Group.

LO142	Prostheses, Femoral Head	Link body, Titanium, grit blast, HA	35-65mm IN 126 & 135 degrees	Changed Description.

LO146	CFP Hip Stem	Titanium, grit blast, non HA	Extra small to Extra Large	Changed Description.

LMA PacMed Pty Ltd

Orthopaedic

PM001	Perioglas: 	Bioglass granules	0.5cc	Changed Product Group, Product Sub-Group,

Suffix.

PM012	Orthofix External Fixation System Ankle Fixator	Anodised aluminium and stainless steel	One size only	Changed Product Group, Product Sub-Group.

PM013	Orthofix External Fixation System Pennig Wrist 	Anodised aluminium and stainless steel	One size only	Changed Product Group, Product Sub-Group,

Suffix.

PM061	Orthofix External Fixation System Elbow Fixator	Anodised aluminium and stainless steel	One size only	Changed Product Group, Product Sub-Group.

PM062	Orthofix External Fixation System Hybrid Fixator	Anodised aluminium and stainless steel	One size only	Changed Product Group, Product Sub-Group.

PM063	Orthofix External Fixation System Knee Fixator	Anodised aluminium and stainless steel	One size only	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 106 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

PM092	Orthopaedic External Fixation System - Radiolucent 	Complete System Sterile	One size only	Changed Product Group, Product Sub-Group.

Wrist Fixator

PM095	Orthopaedic External Fixation System	Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 2.0mm, Total 	Changed Product Group, Product Sub-Group.

Length 40 - 260mm, Thread Length 15 - 100mm

PM097	Orthopaedic External Fixation System	Osteotite Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 2.0mm, Total 	Changed Product Group, Product Sub-Group.

Length 40 - 260mm, Thread Length 15 - 90mm

PM098	Orthopaedic External Fixation System - Xcaliber 	Metadiaphyseal Fixator	One size only	Changed Product Group, Product Sub-Group.

External Fixator

PM099	Orthopaedic External Fixation System - Xcaliber 	Articulated Ankle Fixator	One size only	Changed Product Group, Product Sub-Group.

External Fixator

PM100	Orthopaedic External Fixation System - Xcaliber 	Hybrid Fixator	One size only	Changed Product Group.

External Fixator

PM108	Orthofix Limb Reconstruction System	Adult and paediatric - Short, Standard and Long	Changed Product Group.

PM109	Orthofix External Fixation Systems	MiniRail System	Short, Standard, Long and Articulated Horizontal and 	Changed Product Group, Product Sub-Group.

Vertical Axis

PM110	Orthofix External Fixation Systems	Pennig Minifixator	Short, Standard, Long	Changed Product Group, Product Sub-Group.

PM112	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Neck L90 - 140mm; Primary Locking L20 - 75mm	Changed Product Group, Product Sub-Group,

Suffix.

PM113	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Shaft L31-43mm:	Changed Product Group, Product Sub-Group.

PM114	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Revision Locking L20-75mm	Changed Product Group, Product Sub-Group,

Suffix.

PM116	ISKD Internal Limb Lengthening System	Titanium Alloy	Diameter 12.5 - 14.5mm	Changed Product Group.

LMT Surgical Pty Ltd

General/Miscellaneous

LM042	Synovis Microclip	Malleable titanium clip	One size only	Changed Product Group, Product Sub-Group.

Amended benefit.

Orthopaedic

LM001	TriMed Wrist Fixation System	Washer	.	Changed Product Group, Product Sub-Group.

LM002	TriMed Wrist Fixation System	Plates, Stainless Steel	Radial and Ulna pin plate -  3 hole, 5 hole, 7 hole;  L 	Changed Product Group, Product Sub-Group.

plate - left and right

LM004	TriMed Wrist Fixation System	Buttress Pin Stainless Steel Wire Form	16 - 42mm Length, 8 - 14mm Bend	Changed Product Group, Product Sub-Group.

LM005	TriMed Wrist Fixation System	Small Fragment Clamp  Stainless Steel Inner and Outer	16 - 32mm Length, 10 - 20mm Bend	Changed Product Group, Product Sub-Group,

Component Wire Form	Suffix.

LM008	Spider and Mini-Spider Limited Wrist Fusion System	Stainless Steel	8 hole spider plate, 6 hole mini-spider plate	Changed Product Group, Product Sub-Group,

Suffix.

LM009	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 2mm	Changed Product Group.

LM010	Universal Total Wrist Implant System (UTW)	Consists of 3 parts, proximal radius component made 	Radial Component - Small - left & right, Medium - left	Changed Size, Product Group, Product Sub-

of cobalt/chrome, distal titanium plate, titanium screws	 & right, Large - left & right; Carpal Component - 	Group.

and polyethylene joint surface	Small, Medium, Large; Polyethylene Carpal

Component - Small - Standard, +1, +2,  Medium -

Standard, +1, +2, Large - Standard, +1, +2; Bone

Screws - 4.

Changed Items for Prostheses List Report	Page 107 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LM011	Ascension PIP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P 20D/20P, 30D/30P, 40D/40P	Changed Product Group, Product Sub-Group.

LM012	Ascension MCP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P, 20D/20P, 30D/30P, 40D/40P, 50D/50P,	Changed Product Group, Product Sub-Group,

Suffix.

LM014	Trimed Marked K-Wire	Stainless Steel	Diameter 0.9 - 1.1mm	Changed Product Group, Product Sub-Group.

LM015	Kinetik Great Toe Implant	Phalangeal Component made of titanium alloy 01-	0,1,2,3	Changed Product Group, Product Sub-Group.

2010, 01-2012, 01-2014, 01-2016

LM016	Kinetik Great Toe Implant	Metatarsal Component  made of chrome cobalt 01-	1, 2, 3 Right & Left	Changed Product Group, Product Sub-Group.

2002, 01-2004, 01-2006, 01-2003, 01-2005, 01-2007

LM018	Ascension Silicone MCP Replacement	MCP - Injection - Moulded Medical Grade Silicone 	Size 10, 20, 30, 40, 50	Changed Product Group, Product Sub-Group.

Elastomer; SMCP-500-10, 20, 30, 40, 50

LM028	Ascension Pyrocarbon CMC Finger Implant	Pyrocarbon layer encasing a graphite substrate	10 - 40	Changed Product Group, Product Sub-Group,

Suffix.

LM029	Kompressor	Titanium compression screw	10-34mm	Changed Product Group, Product Sub-Group.

LM031	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma coating	1-4	Changed Product Group, Product Sub-Group.

LM033	Trimed Wrist Fixation System, Volar Peg Plate	Stainless Steel	Volar Peg Plate 3-hole, Right & Left, 4 and 5 Peg; 	Changed Product Group, Product Sub-Group.

Volar Peg Plate 5-hole, Right & Left, 4 and 5 Peg

LM035	Katalyst Anatomic Bipolar Radial Head	The Katalyst is a radial head prosthesis consisting of 	Radial Head sizes 16mm - 26mm	Changed Product Group, Product Sub-Group.

cobalt chrome, U.H.M.W. Pe and Stainless Steel

Components

LM036	Katalyst Anatomic Bipolar Radial Head	The Katalyst is a radial head prosthesis consisting of 	Shaft/Stem Assembly Sizes 20 - 30mm	Changed Product Group, Product Sub-Group.

cobalt chrome, U.H.M.W. Pe and Stainless Steel

Components

LM037	Trimed Bearing Plate	The Bearing Plate is a stainless Steel plate that has 	3 - 9 holes	Changed Product Group, Product Sub-Group.

stainless Steel pegs and Screws for Fixation

LM038	KMI Distal Volar Radius Plate (DVR)	The DVR plates are made of titanium with the option 	DVR Plate, 4 or 5 Hole	Changed Product Group, Product Sub-Group.

of 4 hole and 5 hole plates, 2.1mm pegs, 2.4 or 2.8mm

Screws and 3.5mm proximal screws

LM039	KMI Distal Volar Radius Plate (DVR)	The DVR plates are made of titanium with the option 	DVR Pegs, 2.1mm x 10-34mm	Changed Product Group, Product Sub-Group.

of 4 hole and 5 hole plates, 2.1mm pegs, 2.4 or 2.8mm

Screws and 3.5mm proximal screws

LM040	KMI Distal Volar Radius Plate (DVR)	The DVR plates are made of titanium with the option 	DVR Screws, 2.4 - 3.5mm x 10 - 34mm	Changed Product Group, Product Sub-Group.

of 4 hole and 5 hole plates, 2.1mm pegs, 2.4 or 2.8mm

Screws and 3.5mm proximal screws

LM041	Trimed Bearing Plate, Fixation Pegs	The fixation pegs are made of medical grade 316 	Pegs - 2.3 x 10-34mm Threaded or unthreaded pegs	Changed Product Group, Product Sub-Group.

stainless steel

LM043	Ascension Radial Head	The Ascension Radial Head is modular with a 	Head Size - 20 Short and Long, 22 Short and Long, 24 	Changed Product Group, Product Sub-Group.

Pyrocarbon Head and Metal Stem which is made of 	Short and Long; Stem Size - 01/02/03/04

Cobalt Chromium Alloy compliant with  ASTM F1537-

00, also available in all CoCr

LM044	KMI Total Ankle Replacement	The ankle is a three component system consisting of a 	Small, Small +, Medium, Medium +, Large, Large +	Changed Product Group.

CoCr with titanium plasma spray (TPS) talus

component and tibia component and a bearing

component made of untra high molecular weight

polyethylene (UHMWPE).

Changed Items for Prostheses List Report	Page 108 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

LM046	Fix Ex	Fix Ex bone cement is a calcium phosphate bone 	5cc - 10cc	Changed Product Group, Product Sub-Group.

cement

LM047	Ascension Pyrodisc	Pyrocarbon interpositional prosthesis intended for use 	1-5	Changed Product Group, Product Sub-Group.

in the CMC basal thumb joint

LM048	Ascension Radial Head Locking Plate and screws	Titanium pre-formed anatomical radial head Screws	10mm - 40mm	Changed Product Group, Product Sub-Group.

LM049	Biotech omnitech	The compression screws are for fixation of fractures 	2 - 7mm diameter & 6 - 70mm length	Changed Product Group, Product Sub-Group.

and are avaliable in titanium and stainless steel

LM050	Biotech Easy Lock Osteosystem	Titanium and PEEK	2-10 holes  straight	Changed Product Group, Product Sub-Group.

LM051	Biotech Easy Lock Osteosystem	Titanium and PEEK	10-20 holes straight and T-shape	Changed Product Group, Product Sub-Group.

LM052	Ascension Compression Screw	Titanium Compression Screw	2-5mm diameter ; 12 - 40mm length	Changed Product Group, Product Sub-Group.

LM053	Osteotec Silicone PIP Joint Replacement	2 component hinged joint replacement for the 	5 - 50	Changed Product Group, Product Sub-Group.

proximal interphalangeal joint

LM054	Argomedical Malleolar Plate	Titanium	6 - 10 Hole Plates	Changed Product Group, Product Sub-Group.

LM055	KMI Bioresorbable MBA	PLLA	6-14mm	Changed Product Group.

LM056	Ascension DRUJ Ulna Head, Implant System	Cobalt chromium stem with PyroCarbon or Cobalt 	0, 1, 2, 3, 4	Changed Product Group, Product Sub-Group.

Chromium Articular Surface

LM057	Ascension Radial Head Locking Plate and Screws	Titanium pre-formed anatomical radial head plate	small and large	Changed Product Group, Product Sub-Group.

LM058	Ascension Total Wrist Replacement	Stainless, Poly and Chrome Cobalt Total Wrist 	Radial, Carpal and Poly Components: X - Small - Large	Changed Product Group, Product Sub-Group.

Replacement

LM059	Instratek Cannulated Bone Screws	Titanium cannulated bone screws	2.3mm - 5.0mm diameter; 5 - 45mm length	Changed Product Group, Product Sub-Group.

LM061	BioTech Xpode 4	Screws titanium	6 - 70mm length	Changed Product Group, Product Sub-Group.

LM062	ArgoMedical Pedofix	Titanium fixed angle plate for foot surgery	2.7mm	Changed Product Group, Product Sub-Group.

LM063	ArgoMedical Pedofix	Titanium screws	2.7mm x 8 - 28mm Length	Changed Product Group, Product Sub-Group.

LM064	TriMed Ulnar Osteotomy System	Stainless Steel Ulnar Osteotomy Plate	5 - 9 holes	Changed Product Group, Product Sub-Group,

Suffix.

LM065	TriMed Olecranon Sled	Stainless Steel Wire Form	Length 40-90mm	Changed Product Group, Product Sub-Group.

LM066	TriMed Olecranon Sled	Washer	one size	Changed Product Group, Product Sub-Group.

LM067	Crossbone	Bone substitute wedges	6-15mm height	Changed Product Group, Product Sub-Group.

LM068	Normed Foot Plates and screws	Titanium plates, various sizes and shapes	Titan Open-Wedge plate: 0mm, 3mm, 4mm, 5mm, 	Changed Product Group, Product Sub-Group.

6mm, 7mm, 8mm; Titan Universal plates: 10mm,

12mm, 14mm, 16mm, 18mm, 20mm, 22mm, 24mm,

30mm

LM069	Normed Foot screws	Titanium plates, various sizes and shapes	multiple	Changed Product Group, Product Sub-Group.

LM070	Surgilig	Acromicoclavicular Joint Reconstruction Ligament	7-20cm length	Changed Product Group, Product Sub-Group.

LM072	Trimed Hook Plate	stainless steel 4 and 6 hole plates	4 and 6 holes/right and left	Changed Product Group, Product Sub-Group.

Plastic and Reconstructive

LM007	TriMed Wrist Fixation System	Cortical Bone Screw, Stainless Steel	Diameter 2.3 - 3.2mm, Length 10 - 32mm	Changed Product Group, Product Sub-Group.

LSS Surgical Pty Limited

Changed Items for Prostheses List Report	Page 109 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Neurosurgical

LS001	SAS Spinal Advanced System	Peek-Optima Lumbar Cage	9mm t 15mm	Changed Suffix.

LS002	Solas Spinal System	Traverse Link Assembly	30mm - 120mm	Changed Suffix.

LS003	Solas Spinal System	Set Screw	One Size	Changed Product Group, Product Sub-Group,

Suffix.

LS006	Solas Spinal System	Polyaxial Pedicle	4 x 30mm to 8 x 55mm	Changed Product Group, Product Sub-Group,

Suffix.

LS008	Solas Spinal System	Axial/Lateral Connectors	Small to Large	Changed Product Group, Product Sub-Group.

Mathys Orthopaedics Pty Ltd

Orthopaedic

MA018	Intramedullary Plug	Cement Restricter	Small to Extra Large	Changed Product Group, Product Sub-Group.

MA026	Distal Centraliser	For fullfix stem - PMMA	Dia 8.0/9.5mm - 15/12mm	Changed Product Group, Product Sub-Group.

MA081	Finger	Prosthesis - distal, proximal, standard, large	L18 D4.0 - L26 D6.0	Changed Product Group, Product Sub-Group.

MA108	Balansys Femoral Component	Femoral component, cemented, CoCr	A, B, C, D, E Left & Right	Changed Description, Size.

Amended benefit with $200.00 gap.

MA109	BalanSys Tibial Baseplate 	Tibial Baseplate for fixed bearing insert,  cemented, 	ML/AP Dimensions: 64/70/75/80/85	Changed Product Name, Description, Size.

CoCr	Amended benefit.

MA110	Balansys Tibial Insert  	Tibial insert, minimally stabilised, UHMWPE	Insert 64/8 - 85/15.5	Changed Product Name, Description.

Amended benefit.

MA111	Balansys Patella Component	All Polyethylene, UHMWPE, cemented 	Dia 25, 28, 31, 34, 37mm	Changed Description, Size.

Amended benefit.

MA311	Balansys Tibial Mobile Insert	Tibial Insert, mobile bearing, UHMWPE, 	64/8mm -85/20.5mm	Changed Product Name, Description, Size,

Product Sub-Group.

Amended benefit with $60.00 gap.

MA312	Balansys Tibial Baseplate	Tibial baseplate for Mobile Bearing insert, cemented, 	ML/AP Dimensions: 64/70/75/80/86	Changed Product Name, Description, Size.

CoCr	Amended benefit with $200.00 gap.

MA422	Articula Shoulder Prosthesis	Articula Humeral Head Bionit Ceramic (A1203)	44mm, 46mm, 48mm	Changed Product Group, Product Sub-Group.

MA431	Cemfix	Acrylic bone cement for orthopaedic surgery	CEMFIX 1 Standard viscosity; CEMFIX 2 Low viscosity	Changed Product Group, Product Sub-Group.

MA448	Affinis Total Shoulder Prosthesis	Head - CoCr; Stem - Titanium; Glenoid - UHMWPE	Diameter 39, 41, 43, 45, 47, 49, 51, 53mm	Changed Product Group, Product Sub-Group.

MA449	Affinis Total Shoulder Prosthesis	Stem - CoCr; Stem - Titanium; Glenoid - UHMWPE	Cemented 6, 9, 12, and 15mm;Cementless 6, 7.5, 9, 	Changed Product Group, Product Sub-Group.

10.5, 12, 13.5 and 15mm

MA450	Affinis Total Shoulder Prosthesis	Glenoid - CoCr; Stem - Titanium; Glenoid - UHMWPE	Size 1 to 4 Cemented	Changed Product Group, Product Sub-Group.

MA451	BalanSys UNI femoral component 	Uni Femoral component, cemented CoCr	A, B,C,D,E	Changed Product Name, Description.

Amended benefit with $500.00 gap.

MA452	BalanSys UNI tibial baseplate 	Uni tibial baseplate for fixed bearing insert, cemented, 	1,2,3,4,5	Changed Product Name, Description.

CoCr	Amended benefit.

MA453	BalanSys UNI tibial baseplate 	Uni Tibial component for mobile insert, cemented, 	1,2,3,4,5	Changed Product Name, Description.

CoCr	Amended benefit.

Changed Items for Prostheses List Report	Page 110 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MA454	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, fixed 	5,6,7,9	Changed Product Name, Description.

Amended benefit.

MA455	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, mobile 	5,6,7,9	Changed Product Name, Description.

Amended benefit with $110.00 gap.

MA457	Balansys Femoral Component	Femoral component, uncemented, beaded, CoCr	A, B, C, D, E Left & Right	Changed Description, Size.

Amended benefit.

MA459	Balansys Tibial Insert  	Tibial insert, ultra congruent, deep dished, UHMWPE	64/8mm -85/20.5mm	Changed Product Name, Description, Size,

Product Sub-Group.

Amended benefit.

MA460	Balansys Tibial Baseplate	Tibial Baseplate for Mobile Bearing insert, 	64/8mm - 85/15.5mm	Changed Product Name, Description.

Uncemented, CoCr	Amended benefit with $350.00 gap.

MA465	Articula Shoulder Prosthesis	Articula Central Part (TiA16V4)	18mm & 15mm	Changed Product Group, Product Sub-Group.

MA466	Articula Shoulder Prosthesis	Artucula Humeral Stem (TiA16V4, A1203)	8mm x 125mm, 9.5mm x 125mm, 11mm x 125mm, 	Changed Product Group, Product Sub-Group.

8mm x 175mm, 9.5mm x 175mm & 11mm x

MA476	Sleeve for Revision Head ceramys™ 80	Sleeve for revision head	L, M, S, XL	Changed Product Sub-Group.

MA477	BalanSys UNI tibial baseplate 	Uni Tibial baseplate for mobile insert, cemented, CoCr	1, 2, 3, 4, 5	Changed Product Name, Description, Size.

with convex surface 	Amended benefit with $250.00 gap.

MA478	BalanSys UNI tibial Insert 	Uni tibial insert, UHMWPE, mobile convex for the uni 	5, 6, 7, 9	Changed Product Name, Description, Size.

convex tibial baseplate 	Amended benefit with $310.00 gap.

MA487	BalanSys Femoral Component 	Femoral component, cemented, CoCr, posterior 	A, B, C, D, E Left & Right	Changed Product Name, Description, Size.

stabilised 	Amended benefit with $400.00 gap.

MA488	BalanSys Tibial Baseplate 	Tibial Baseplate for  posterior stabilised fixed insert 	ML/AP Dimensions: 64/70/75/80/85	Changed Product Name, Description.

only, cemented, CoCr	Amended benefit with $250.00 gap.

MA489	Balansys Tibial Insert  	Tibial insert, posterior stabilised UHMWPE	Height: 8/10.5/13/15.5/18/20.5/23 - ML/AP 	Changed Product Name, Description.

Dimensions: 64/70/75/80/85 - fixed bearing	Amended benefit with $200.00 gap.

Mayo group

General/Miscellaneous

CM007	Vascular Ports - Implantable Vascular Access System	Arrow Model No.'s VARRX AP01007, AP06010, 	Ports - H15.5mm x L28.6mm, Weight 9.2grams, 	Changed Product Group, Product Sub-Group.

AP06013, AP06014, AP06015, AP06018, AP06520.  	Internal Vol. 0.8ml.  Catheter 75cm	Amended benefit.

Titanium Port with self sealing silicone septum and

either attached or detached silicone catheters. Include

relevant size Introducer Kit.

CM008	Vascular Ports - Implantable Vascular Access System	Arrow Model No.'s   AP6528, AP06530, AP06535, .  	Ports - H15.5/17.1mm x L28.6mm, Weight 19.9grams,	Changed Product Group, Product Sub-Group.

Double Titanium ports with self sealing silicone 	 Internal Vol.  0.8 - 1.0ml each side.  Catheters 75cm	Amended benefit.

septums and either attached or detached dual lumen

silicone catheters. Include relevant sized Introducer Kit.

CM009	Low Profile Ports -  Implantable Vascular Access 	Arrow Model No.'s VARRX AP01040,  AP06046, 	Ports - H10mm, L25mm, Weight 9grams, Internal 	Changed Product Group, Product Sub-Group.

System	AP06016, AP06020, AP06012, AP06022, AP06025.  	Vol. 0.3ml.  Catheter75cm	Amended benefit.

Plastic low profile ports with self sealing silicone

septum and either attached or detached silicone

catheters. Include relevant sized Introducer Kit.

Changed Items for Prostheses List Report	Page 111 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

CM010	Low Profile Ports -  Implantable Vascular Access 	Arrow Model No.'s VARRX AP06036, AP06040, 	Ports - H10mm, L25mm, Weight 9grams, Internal 	Changed Product Group, Product Sub-Group.

System	AP06042, AP06045.  Titanium Low Profile Ports with 	Vol. 0.3ml.  Catheter75cm	Amended benefit with $65.00 gap.

self sealing silicone septum and either attached or

detached silicone catheters.  Include relevant sized

Introducer Kit.

CM011	Arrow Peripherally Inserted Central Catheterisation 	Model No.'s VARRC PC01351.  Polyurethane single 	3Fr x 55cm	Changed Product Group, Product Sub-Group.

Sets  	lumen catheters with stylet.	Amended benefit.

CM012	Arrow Peripherally Inserted Central Catheterisation 	Model No.'s VARRC PC01451, PR05041, 	4Fr x 55cm	Changed Product Group, Product Sub-Group.

Sets  	Polyurethane single lumen catheters with or without 	Amended benefit.

stylet.

CM013	Arrow Peripherally Inserted Central Catheterisation 	Model No.'s VARRC PC01552, PR05052, PR07051 	5Fr x 55cm & 70cm	Changed Product Group, Product Sub-Group.

Sets  	Polyurethane single and double lumen catheters with 	Amended benefit.

or without stylet.

Medacta Australia Pty Ltd

Orthopaedic

MU026	Evolis Knee System Femoral Component 	Femoral component, cemented, CoCr 	1- 6, left and right	Changed Product Name, Description.

Amended benefit.

MU027	Evolis Knee System Femoral Component 	Femoral Component, cemented, CoCr, with TiNi 	1 - 6, left and right	Changed Product Name, Description, Suffix.

(TiNibN) surface coating	Amended benefit with $250.00 gap.

MU028	Evolis Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior 	1 - 6, left and right	Changed Product Name, Description.

stabilised 	Amended benefit.

MU029	Evolis Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior 	1 - 6, left and right	Changed Product Name, Description.

stabilised with TiNi (TiNibN) surface coating	Amended benefit with $300.00 gap.

MU030	Evolis Knee System Tibial baseplate  	Tibial baseplate, cemented, titanium for fixed insert 	1 - 6	Changed Product Name, Description, Suffix.

Amended benefit.

MU031	Evolis Knee System Patella Component 	All poly patella, cemented, UHMWPE, recessed 	20, 24,28mm diam	Compressed from MU031, MU033.

single peg

MU032	Evolis Knee System Tibial Insert   	Tibial Insert, UHMWPE, fixed, posterior stabilised 	1 - 6, 9/11/13/16/19mm thickness	Changed Product Name, Description.

Amended benefit.

MU034	Evolis Knee System Tibial Insert   	Tibial Insert, UHMWPE, fixed  	1 - 6, 9/11/13/16/19mm thickness	Compressed from MU034, MU037.

MU035	Evolis Knee System Tibial Stem 	Tibial stems, titanium, cemented	30/60mm length (12mm diameter)	Changed Product Name, Description, Product

Group, Product Sub-Group.

Amended benefit.

MU036	Evolis Knee System Fixation Screw 	Tibial screw for baseplate fixation to bone, titanium, 	20/25/30/35/40/45mm (6.5mm diameter)	Changed Product Name, Description, Product

optional 	Group, Product Sub-Group.

Amended benefit with $20.00 gap.

MU038	Evolis Knee System Femoral Component 	Femoral component, uncemented, CoCr, titanium 	1 - 6, left to right	Changed Product Name, Description.

plasma spray	Amended benefit.

MU039	Evolis Knee System Femoral Component 	Femoral component, uncemented, CoCr, titanium 	1 - 6, left to right	Changed Product Name, Description.

plasma spray, posterior stabilised 	Amended benefit.

MU040	Evolis Knee System Tibial baseplate  	Tibial baseplate, uncemented, titanium with titanium 	1 -6	Changed Product Name, Description, Suffix.

plasma spray, for fixed insert 	Amended benefit.

MU041	Cinétique Knee System Patella Component   	All Poly Patella, UHMWPE, cemented, dome with 3 	3 sizes: Size#1-2; #3-4; #5-6	Compressed from MU041, MU042.

pegs

Changed Items for Prostheses List Report	Page 112 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MU043	Cinétique Knee System Femoral Component 	Femoral component, cemented, CoCr 	Sizes 1 to 6, Left and Right	Changed Product Name, Description, Product

Sub-Group.

MU044	Cinétique Knee System Femoral Component 	Femoral Component, cemented, CoCr, with TiNi 	Sizes 1 to 6, Left and Right	Changed Product Name, Description, Product

(TiNibN) surface coating	Sub-Group, Suffix.

Amended benefit with $850.00 gap.

MU045	Cinétique Knee System Patella Component   	Patella component, metal backed, CoCr cemented, 	3 Sizes: Size #1-2; #3-4; #5-6	Changed Product Name, Description.

with mobile poly 	Amended benefit.

MU046	Cinétique Knee System Patella Component   	Patella component, metal backed, CoCr cemented, 	3 sizes: Size #1-2; #3-4; #5-6	Changed Product Name, Description, Suffix.

with mobile poly and TiNi (TiNbN) insert surface 	Amended benefit.

MU047	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, cemented, with polished insert 	Sizes 1 to 7, Left and Right	Changed Product Name, Description.

surface for mobile insert	Amended benefit.

MU048	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, cemented, titanium, with TiNi 	Sizes 1 to 7, Left and Right	Changed Product Name, Description, Suffix.

(TiNibN) surface coating of insert surface for mobile 	Amended benefit.

insert

MU049	Cinétique Knee System Tibial Insert  	Tibial Insert, UHMWPE, mobile bearing, standard, 	Size 1 to 6, 7/9/11/13/15mm thicknesses	Compressed from MU049, MU050.

MU051	Cinétique Knee System Femoral Component 	Femoral component, uncemented, CoCr, with titanium 	Sizes 1 to 6, Left and Right	Changed Product Name, Description.

micro beads, with HA, posterior stabilised

MU052	Cinétique Knee System Patella Component   	Patella component, metal backed, CoCr uncemented, 	Size #1-2; #3-4; #5-6	Changed Product Name, Description.

with titanium micro beads 	Amended benefit.

MU053	Cinétique Knee System Tibial Baseplate 	Tibial Baseplate, uncemented, CoCr, with titanium 	Sizes 1 to 7, left and right	Changed Product Name, Description.

micro beads, with HA, with polished insert surface for 	Amended benefit with $758.00 gap.

mobile insert

Medical & Optical Instruments Australia Pty Ltd

Orthopaedic

MO005	HBS Bone screw	Compression - standard, high	Length 10 - 30mm	Changed Product Group, Product Sub-Group.

MO134	Martin Osteosynthesis System	Screw Fami Anchor Titanium	1.5 - 2.0mm Diameter 8 - 15mm	Changed Product Group, Product Sub-Group.

MO143	Martin Bone Screw	Titanium	2.0mm diameter,20 to 24mm length	Changed Product Group, Product Sub-Group.

MO144	Martin Bone Screw	Titanium	2.0mm diameter,26 to 32mm length	Changed Product Group, Product Sub-Group.

MO145	Martin Ulna Head prosthesis	Stem Titanium	Small, medium and large,2mm,4mm and 17mm 	Changed Product Group, Suffix.

MO146	Martin Ulna Head prosthesis	Ceramic Head, Chromium Cobalt	Small, medium and large	Changed Product Group, Suffix.

MO147	Acumed Shoulder Joint Prostheses 	Titanium	130 to 280mm stem,13 to 15mm body, 16 to 23mm 	Changed Product Group, Suffix.

head.

MO148	Acumed Implantable Screw	Fixation Screw Titanium	2.7/3.5mm diameter 12 to 24mm length	Changed Product Group, Product Sub-Group.

MO150	Acumed Congruent Plate System	Foot & Ankle Plate, Titanium	4 to 9 Hole	Changed Product Group, Product Sub-Group.

MO153	Acumed Congruent Plate System	Screw Titanium	2.1, 2.7, 3.5, 4.0mm diameter, 6mm to 28mm length	Changed Product Group, Product Sub-Group.

MO154	Polarus Proximal Humeral Fixation System	Polarus Proximal Humeral Rod Standard/Plus 	150 - 300mm length	Changed Product Group, Product Sub-Group,

Suffix.

MO156	Polarus Proximal Humeral Fixation System	Polarus Screws Cancellous/Cortical Titanium	12.5 to 60mm length	Changed Product Group, Product Sub-Group,

Suffix.

MO158	Polarus Humeral Rod System	Polarus Washer	3.5mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 113 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MO159	Polarus Humeral Rod System	Polarus Ulna Rod Titanium	210 to 270mm length	Changed Product Group, Product Sub-Group,

Suffix.

MO161	Polarus Humeral Rod System	Polarus Radius Rod Titanium	190 to 230mm length	Changed Product Group, Product Sub-Group.

MO162	Tension Band Pin	Stainless Steel	50 to 90mm	Changed Product Group, Product Sub-Group.

MO165	Osteo Clage Cable System	CoCr, Stainless Steel Cable Sleeve	2mm	Changed Product Group, Product Sub-Group.

MO166	Osteo Clage Cable System	CoCr, Stainless Steel Cable	850mm	Changed Product Group, Product Sub-Group.

MO177	Acutrak Fixation Screw	Wire Kirschner Stainless Steel	0.70mm to 1.6mm diameter, 4 to 9in (10.16 to 	Changed Product Group, Product Sub-Group.

22.86mm) length

MO178	Acutrak Fusion Screw	Titanium	12 - 37mm	Changed Product Group, Product Sub-Group.

MO179	Acutrak Fixation Screw	Acutrak Compression Screw Titanium	8mm to 50mm	Changed Product Group, Product Sub-Group,

Suffix.

MO180	Acutrak Fixation Screw	Acutrak Plus, 6/7, 4/5 Cannulated Screw Titanium	25mm to 120mm	Changed Product Group, Product Sub-Group,

Suffix.

MO191	Acumed Congruent Plate System	Metatarsal osteotomy plate - titanium	Right, left	Changed Product Group, Product Sub-Group.

MO192	Acumed Congruent Plate System	Malleolar plate - titanium	Medial, anterior, lateral 5 hole, lateral 7 hole	Changed Product Group, Product Sub-Group.

MO193	Acumed Congruent Plate System	Fibula guide plate - titanium	3 - 7 hole	Changed Product Group, Product Sub-Group.

MO194	Acumed Congruent Plate System	Elbow plate - titanium	Epicondyle, Ulna Olecranon, Coronoid, Posterior, 	Changed Product Group, Product Sub-Group.

Radial Head, Small, Medium, Long, Extra Long, 10-

Hole, Standard

MO195	Acumed Congruent Plate System	Screw - titanium	2.7, 3.5, 4.0mm dia, 30 - 65 length	Changed Product Group, Product Sub-Group.

MO196	Osteo Clage Cable System	Cerclage wire and sleeve	500mm	Changed Product Group, Product Sub-Group.

MO200	Polarus Proximal Humeral Fixation System	End cap, titanium	Only size only	Changed Product Group, Product Sub-Group.

MO202	Acumed Bone Plate	MCP Fusion Plate - Titanium	4 Hole left and right	Changed Product Group, Product Sub-Group.

MO208	Acumed Bone Plate	Wrist Fusion Plate - Titanium	Standard, Mini	Changed Product Group, Product Sub-Group.

MO209	Acumed Congruent Plate System	Threaded K-Wire - Titanium	WT-1606STT: Length 15cm x Diameter 0.62"; WT-	Changed Product Group, Product Sub-Group.

0906STT: Length 15cm x Diameter 0.35"; WS-

2408STT length 20.32cm x Diameter 0.24cm

MO211	Accumed Congruent Plate System	Clavicle Plate - Titanium	Small, Medium, Large, J-Shape, Left, Right	Changed Product Group, Product Sub-Group.

MO243	Polarus Proximal Humeral Plate	Titanium Humeral Plate	Left, Right, Large, Small, Two Part	Changed Product Group, Product Sub-Group.

MO247	Martin Fixation Device Internal - Plate	Steile Titanium Y and Double Y Plate	1.5mm system	Changed Product Group, Product Sub-Group,

Suffix.

MO249	ACU- LOC Distal Radius Plate System	Threaded, non-threaded, locking, non-locking screw, 	2.3mm / 3.5mm diameter, 14-32mm length	Changed Product Group, Product Sub-Group,

peg, Titanium	Suffix.

MO252	Martin Fixation Device Internal - Screw	2.0mm diam. Pkt 2	4-11mm	Changed Product Group, Product Sub-Group.

MO253	Martin Fixation Device Internal - Screw	2.0mm diam. Pkt 2	12-20mm	Changed Product Group, Product Sub-Group.

MO254	Martin Fixation Device Internal - Screw	2.3mm diam. Pkt 2	5-11mm	Changed Product Group, Product Sub-Group.

MO255	Martin Fixation Device Internal - Screw	1.5-1.8mm diam. Pkt 2	3.5-9mm	Changed Product Group, Product Sub-Group.

MO256	Martin Fixation Device Internal - Screw	1.5-1.8mm diam. Pkt 2	10-15mm	Changed Product Group, Product Sub-Group.

MO257	Acu-Loc Distal Radius Plate System	Distal radius plate, titanium	Standard, long, extra long, wide, narrow, left, right	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 114 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MO259	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 10cc	Changed Product Group, Product Sub-Group.

MO260	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 20cc	Changed Product Group, Product Sub-Group.

MO261	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 70cc	Changed Product Group, Product Sub-Group.

MO262	STIMULAN	Calcium Sulphate Pellets	3mm pellets 5cc	Changed Product Group, Product Sub-Group.

MO263	STIMULAN	Calcium Sulphate Pellets	3mm pellets 10cc	Changed Product Group, Product Sub-Group.

MO264	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 10cc	Changed Product Group, Product Sub-Group.

MO265	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 20cc	Changed Product Group, Product Sub-Group.

MO266	STIMULAN	Calcium Sulphate Pellets	3mm pellets 1.5cc Dispenser	Changed Product Group, Product Sub-Group,

Suffix.

MO267	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 5cc Dispenser	Changed Product Group, Product Sub-Group.

MO268	STIMULAN	Calcium Sulphate Injectable Paste incl. powder mixing	5cc	Changed Product Group, Product Sub-Group.

solution

MO269	STIMULAN	Calcium Sulphate Injectable Paste incl. powder mixing	10cc	Changed Product Group, Product Sub-Group.

solution

MO270	Acumed Total Radial Head	Head	20-28mm	Changed Product Group, Product Sub-Group.

MO271	Acumed Total Radial Head	Stem	6-10mm diameter, 0-8mm neck height	Changed Product Group, Product Sub-Group.

MO272	Acumed Tap-Loc	Variable angle locking plate system	medial; left and right, lateral Olecranon Left and right 	Changed Product Group, Product Sub-Group,

6-20 holes	Suffix.

MO273	Acumed Tap-Loc	Tap screws, Tap-Loc Screws	diameter 2.7mm - 3.5mm, length 36mm-60mm	Changed Product Group, Product Sub-Group.

MO274	Acutrak 2	Headless Compression screw	8mm-30mm lengthmicro, mini, standard	Changed Size, Product Group, Product Sub-

Group.

MO275	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone Graft	2mm Granules 5 cc	Changed Product Group, Product Sub-Group.

MO276	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone Graft	2mm Granules10 cc	Changed Size, Product Group, Product Sub-

Group.

MO277	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone Graft	2mm Granules20 cc	Changed Size, Product Group, Product Sub-

Group.

Plastic and Reconstructive

MO135	Martin Internal Distraction System	Titanium Distractor	10 to 20mm	Changed Product Group, Product Sub-Group.

MO136	Intra Oral Mandibular Distraction System  	Vertical	6 to 15mm	Changed Product Group.

MO137	Intra Oral Mandibular Distraction System  	Ramus	15 to 25mm	Changed Product Group, Suffix.

MO138	Martin Bone Plate	Compression Plate  Y Plate Titanium	1.0mm	Changed Product Group, Product Sub-Group,

Suffix.

MO139	Martin Bone Plate	Compression Plate T Plate Titanium	1.0mm	Changed Product Group, Product Sub-Group,

Suffix.

MO140	Martin Bone Plate	Compression Plate Y, L Plate Titanium	1.0mm	Changed Product Group, Product Sub-Group,

Suffix.

MO141	Martin Bone Plate	Compression Plate Straight Titanium	1.0mm	Changed Product Group, Product Sub-Group,

Suffix.

MO142	Martin Bone Plate	Compression Plate T,L, Straight Titanium	1.2mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 115 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MO187	Resorb-X Mesh Plate 25-35 x 25-35mm	Resorb-X Osteosynthesis System Resorbable mesh 	25-35 x 25-35mm	Changed Product Name, Description, Size.

MO188	Resorb-X Mesh Plate 50-55 x 50-55mm	Resorb-X Osteosynthesis System, Resorbable mesh 	50-55 x 50-55mm	Changed Product Name, Size.

plate

MO201	Intra-Oral Vertical Distractor	Titanium distraction device utilising micro-threaded 	Two-hole threaded fixation plates - one size only; 	Changed Product Group, Product Sub-Group,

fixation plates, distraction screws and positioning 	distraction screws - 8,10,12,14mm; positioning screws 	Suffix.

screws.	- 15,17,19,21mm

Medical Device Alliance Pty Ltd

Plastic and Reconstructive

MP005	Calf Implants	Asymmetrical shape, silicone gel smooth  surface	85-180cc	Changed Product Group, Product Sub-Group.

MP008	Calf Implant	Silicone elastomer - smooth surface, asymmetrical 	70-175cc	Changed Product Group, Product Sub-Group.

shape,

MP014	Calf Implant	Silicone elastomer - smooth surface, symmetrical 	15-105cc	Changed Product Group, Product Sub-Group.

MP015	Testicular Implant	Silicone with holes for fixation 3230	5-38cc	Changed Product Group.

MP016	Calf Implants	Symmetrical shape, silicone gel	12-140cc	Changed Product Group, Product Sub-Group.

MP017	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Smooth	100-300cc	Changed Product Group, Product Sub-Group.

MP018	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Textured Surface	200-400cc	Changed Product Group, Product Sub-Group.

MP019	Gluteal Implants filled with Gel	Round Shape, Silicone Gel, Smooth Surface	200-300cc	Changed Product Group, Product Sub-Group.

MP020	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Smooth Surface	95-260cc	Changed Product Group, Product Sub-Group.

MP021	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Textured Surface	225-420cc	Changed Product Group, Product Sub-Group.

MP022	Gluteal Implants filled with Elastomer	Round Shape, Silicone Elastomer, Smooth Surface	250-340cc	Changed Product Group, Product Sub-Group.

MP036	Infraclavicular Implant	Infraclavicular Implant	14cc; 20cc; 38cc; 63cc; 122cc	Changed Product Group.

Amended benefit.

MP037	Pectoral Implants	Gel - Smooth surface	190cc - 300cc	Changed Product Group.

Amended benefit.

MP038	Pectoral Implants	Elastomer - Smooth surface	190cc - 300cc	Changed Product Group.

Amended benefit.

MP039	Pectoral Implants	Elastomer - Textured surface	190cc - 300cc	Changed Product Group.

Amended benefit.

MP040	Silimed Tissue Expanders	Various shapes, smooth, remote port. Catalogue 	1ml - 1000ml	Changed Product Name, Description, Size,

numbers: 80x, 81x, 82x, 807, 817, 741, 841, 851, 881, 	Product Group, Product Sub-Group, Suffix.

861	Amended benefit.

MP041	Tissue Expander	Double Chamber, Smooth, 	320-850	Changed Product Group, Product Sub-Group.

Remote port	Amended benefit.

Model # 730

MP042	Silimed Tissue Expanders	Anatomical shape, textured, remote port. Catalogue 	200ml-800ml	Changed Description, Size, Product Group,

number: 20760	Product Sub-Group, Suffix.

Amended benefit.

MP043	Silimed Tissue Expander	Double chamber, textured, magnetic. Catalogue 	320ml-850ml	Changed Product Name, Description, Size,

number: 20739	Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 116 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MP044	Silimed Tissue Expander	Double chamber, textured, magnetic, with suture tabs. 	470mm-780mm	Changed Product Name, Description, Size,

Catalogue number: 20799	Product Group, Product Sub-Group, Suffix.

Amended benefit.

MP045	Tissue Expander	Crescent model, Smooth,	12-700ml	Changed Product Group, Product Sub-Group,

Remote Port	Suffix.

Models # 820, 827, 829	Amended benefit.

MP046	Tissue Expander	Rectangular model, Smooth,	30-1000ml	Changed Product Group, Product Sub-Group,

Remote Port	Suffix.

Models # 810, 819, 817	Amended benefit.

MP047	Silimed Tissue Expanders	Specialised shapes, smooth, remote port. Catalogue 	145ml-520ml	Changed Description, Size, Product Group,

numbers: 830, 880	Product Sub-Group, Suffix.

Amended benefit.

MP048	Silimed Tissue Expanders	Ball Shaped Orbital Model # 741, 747	3-60ml	Changed Product Group, Product Sub-Group.

Amended benefit.

MP049	Silimed Tissue Expanders	Auricular Model # 841, 847	16-55ml	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MP051	Silimed Tissue Expanders	Finger Syndactylism Model # 851, 857	1-5ml	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Medical Specialties  Australia Pty Ltd

General/Miscellaneous

MS008	Catheterisation kits(Horizon Medical)	Central Venous Catheter - Apheresis Bone Marrow 	12.5F	Changed Product Group, Product Sub-Group,

Transplantation Catheter, silicone	Suffix.

Amended benefit.

MS019	Infusa T, Infusa TS or Infusa DSLT	Powered Drug Infusion System, Battery operated, 	Small, Medium, Large	Changed Product Group, Product Sub-Group.

Syringe type	Amended benefit.

MS021	Medical Specialties "Walkmed Infusion Pump System"	Ambulatory Infusion Pump System, Administration 	Walkmed Infusion Pump System	Changed Product Group, Product Sub-Group.

Powered Drug Infusion System and Ancillary 	Sets and Accessories	Amended benefit.

Equipment (McKinley, USA)

MS022	Medical Specialties "Walkmed Drug Administration 	Ambulatory Infusion Pump System, Administration 	Walkmed Drug Administration Reservoirs	Changed Product Group, Product Sub-Group.

Reservoir" (McKinley, USA)	Sets and Accessories	Amended benefit.

MS023	Medical Specialties "Walkmed Drug Administration 	Ambulatory Infusion Pump System, Administration 	Walkmed Drug Administration Sets	Changed Product Group, Product Sub-Group.

Sets"  (McKinley, USA)	Sets and Accessories	Amended benefit.

MS030	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	10 x15 cm TiMESH light	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS031	Medical Specialties "Deltec Cozmo Insulin Pump"	Ambulatory Insulin Infusion Pump	Deltec Cozmo Insulin Pump - each	Changed Product Group, Product Sub-Group.

Amended benefit.

MS032	TiMESH extralight	Prosthetic warp-knitted fabric made of monfil 	10 x 15cm TiMESH extralight	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS033	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	15 x 15cm TiMESH light	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

Changed Items for Prostheses List Report	Page 117 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MS034	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	15 x15cm TiMESH extralight	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS035	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH light	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS036	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH extralight	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS037	TiMESH Extra Large	Prosthetic warp-knitted fabric made of monofil 	30 x 30cm TiMESH	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS038	TiMESH Extra Large	Prosthetic warp-knitted fabric made of monofil 	Extra Large TiMESH	Changed Product Group, Product Sub-Group,

polypropylene threads with an encapsulating titanic 	Suffix.

coating	Amended benefit.

MS039	Medical Specialties "Deltec Cozmo Ancillary 	Drug Infusion Reservoir	3ml Cartridges - Box 25	Changed Product Group, Product Sub-Group.

Equipment"	Amended benefit.

MS040	Medical Specialties/Unomedical "Deltec Cozmo 	Drug Infusion Set	Box of 20	Changed Size, Product Group, Product Sub-

Ancillary Equipment"	Group.

Amended benefit.

MS043	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic warp-	TiPLUG	Changed Product Group, Product Sub-Group.

knitted fabric made of monofilament polypropylene 	Amended benefit with $285.00 gap.

threads with an encapsulating titanic coating.

MS044	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic warp-	TiPATCH	Changed Product Group, Product Sub-Group.

knitted fabric made of monofilament polypropylene 	Amended benefit.

threads with an encapsulating titanic coating.

MS049	TiGUARD	Titanized polypropylene composite. Prosthetic warp-	TiGUARD strong 20 x 15cm	Changed Product Group, Product Sub-Group,

knitted fabric made of monofilament polypropylene 	Suffix.

threads with an encapsulating titanic coating.	Amended benefit.

MS050	TiGUARD	Titanized polypropylene composite. Prosthetic warp-	TiGUARD strong 30 x 30cm	Changed Product Group.

knitted fabric made of monofilament polypropylene 	Amended benefit.

threads with an encapsulating titanic coating.

Medical Vision Australia Pty Ltd

General/Miscellaneous

MF003	Steritalc	Sterile granules of talc implanted in pleural space to 	3 grams & 4 grams	Changed Product Group, Product Sub-Group.

act as permanent adhesive	Amended benefit.

Plastic and Reconstructive

MF006	Pip Breast Implant Gel Filled	Reconstruction Anatomical Textured	180cc to 600cc	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MF007	Pip Breast Implant Gel Filled	Asymmetric Textured Right	200cc to 450cc	Changed Product Group, Suffix.

Amended benefit.

MF008	Pip Breast Implant Gel Filled	Asymmetric textured Left	200cc to 450cc	Changed Product Group, Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 118 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MF009	Pip Breast Implant Gel Filled	Round Smooth Standard profile	85cc to 705cc	Changed Product Group, Product Sub-Group.

Amended benefit.

MF010	Pip Breast Implant Gel Filled	Round Smooth High profile	90cc to 680cc	Changed Product Group, Product Sub-Group.

Amended benefit.

MF011	Pip Breast Implant Gel Filled	Round textured Standard profile	85cc to 705cc	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MF012	Pip Breast Implant Gel Filled	Round Textured High profile	90cc to 680cc	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MF013	Pip Breast Implant Gel Filled	Round Smooth Extra High profile	245cc to 495cc	Changed Product Group, Suffix.

Amended benefit.

MF014	Pip Breast Implant Gel Filled	Round Textured Extra High profile	245cc to 495cc	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Medtel Australia Pty Ltd

Cardio-thoracic

ME065	Amplatzer Duct Occluder	Nitinol Wire Mesh	5 - 24mm	Changed Product Group, Product Sub-Group.

ME066	Amplatzer Septal Occluder	Nitinol Wire Mesh	4mm - 40mm	Changed Product Group, Product Sub-Group.

ME067	Amplatzer Muscular VSD Occluder	Nitinol Wire Mesh	4 - 24mm	Changed Product Group, Product Sub-Group.

ME068	Amplatzer PFO Occluder	Nitinol Wire Mesh	25mm & 35mm	Changed Product Group, Product Sub-Group.

ME074	Amplatzer Membranous VSD Occluder	Nitinol wire mesh, double disc occluder and delivery 	4-24mm, Length 7-10mm	Changed Product Group, Product Sub-Group.

system

General/Miscellaneous

ME124	Emphasys Endobronchial Valve	One way valve	Small, Medium, Large	Changed Product Group, Product Sub-Group,

Suffix.

Vascular

ME107	Superstitch	Suture Mediated Closure Device	Sheath sizes: 6F and 8F	Changed Product Sub-Group, Suffix.

ME182	Amplatzer Vascular Plug	Self expandable nitinol wire mesh	Diameter 4mm - 16mm, Length 7 & 8mm	Changed Product Sub-Group, Suffix.

Medtex

Orthopaedic

MX002	Judet Plate	Implantable stainless plates for fixation and 	4 prong x 12 through to 24mm in 2mm increments:  6 	Changed Product Group, Product Sub-Group.

stabilisation of rib fractures	prong x 12 through to 24mm in 2mm increments

MX003	Kirschner Extension Wire	Implantable extension wires for osteosynthesis and 	100mm length x 0.4mm thru to 2.2mm diameter in 	Changed Product Group, Product Sub-Group.

fixative purposes	1mm increments. 150mm length x 0.6mm thru to

2.2mm diameter in 1mm increments. 230mm length x

0.8mm thru to 3mm diameter in 1mm increments.

305mm length x 0.8mm thru to 3mm diameter in

1mm increments.

Medtronic Australasia Pty Ltd

Changed Items for Prostheses List Report	Page 119 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Cardio-thoracic

MC035	Medtronic lead Extender Kit Model: 6984M, 6981M, 	Silicone	14 - 50cm	Changed Product Group.

6985M, 5866-24M, 5866-38M, 5866-40M, 6986M,

5866-37M; Bipolar Lead Adaptor Kit Model 2872

MC036	Medtronic Lead End Cap Kit Model: 5867-3M; 	Silicone or Polyurethane; Plug to Seal IS-1 connector 	10 - 25mm, IS-1 Pin Plug - One Size only	Changed Product Group.

Medtronic Adaptor Kit Line 5866-23; Connector 	in a pacemaker or defibrillator, Silicone

Sleeve 5866-45;   Metronic lead sleeve kit model:

5866-46; Medtronic Pinplug kit. Model 6719 (DF - 1),

6725 (IS-1) Pin Plug

MC246	DF-I Y-Adaptor/Extender Model 6726 25cm & 37cm	Silicone	Lengths 25cm, 37cm	Changed Product Group.

General/Miscellaneous

MC282	Medtronic MiniMed Insulin Infusion Pump Reservoir	Ambulatory Insulin Infusion Pump System 	One Size Only	Changed Product Group, Product Sub-Group.

Administration Sets and Accessories; Insulin Infusion 	Amended benefit.

Pump Reservoir MMT-103A  (for use with pumps

MMT - 507C & MMT - 508)

MC284	Medtronic MiniMed Paradigm Insulin Infusion Pump 	Paradigm Insulin Infusion Pump Reservoir MMT-	One Size Only	Changed Product Group, Product Sub-Group.

Reservoir	326A (for use with Model MMT-511 insulin infusion 	Amended benefit.

MC285	Medtronic MiniMed Insulin Pump Infusion Sets	Ambulatory Insulin Infusion Pump System 	60-110cm	Changed Product Group, Product Sub-Group.

Administration Sets and Accessories: Quick-set MMT-	Amended benefit.

390, MMT-391, MMT-392, MMT-393; Sof-set Micro

MMT-320, MMT-321; Sof-set Ultimate MMT-315,

MMT-316 (all tubing with cannula for use with MMT-

507C and MMT-508 insulin infusion pump); Silhouette

MMT-371, MMT-372, MMT-373, MMT-374 (Full Set

of 10 complete sets: 10 sites + 10 tubing, OR Combo

Set: 10 sites + 5 tubing for use with MMT-507C or

MMT-508 insulin infusion pump); Serters MMT-395,

MMT-300, MMT-385 (For use with MMT-511 or

MMT-507C or MMT-508 insulin infusion pump);

Polyfin MMT-106, MMT-306, MMT-307, Polyfin QR

MMT-165, MMT-365, MMT-366 (bent needles with

wings for use with MMT-507C and MMT-508 insulin

infusion pump)

MC286	Medtronic MiniMed Paradigm Insulin Pump Infusion 	Ambulatory Insulin Infusion Pump System 	60-110cm	Changed Product Group, Product Sub-Group.

Sets	Adminstration Sets and accessories: Quick-set MMT-	Amended benefit.

396, MMT-398, MMT-397, MMT-399; Sof-set Micro

MMT-324, MMT-325; Sof-set Ultimate MMT-317,

MMT-318 (all tubing with cannula for use with MMT-

511 insulin infusion pump), Silhouette MMT-377,

MMT-379, MMT-378, MMT-380 (Full Set of 10

complete sets: 10 sites + 10 tubing, OR Combo Set: 10

sites + 5 tubing for use with MMT-511 insulin infusion

pump)

MC304	Medtronic Minimed Paradigm Insulin Infusion Pump 	Reservoir Model MMT - 332A (for use with the 	3.0 ml reservoir	Changed Product Group, Product Sub-Group.

Reservoir	Paradigm Model MMT - 712). Polycarbonate	Amended benefit.

MC351	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT - 715	Pump Dimensions: 5.1 x 9.4 x 2.0cm	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 120 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MC352	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT - 515	Pump Dimensions: 5.1 x 7.6 x 2.0cm	Changed Product Group, Product Sub-Group.

Amended benefit.

MC353	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT-722	Pump dimensions: 5.1 x 9.4 x 2.0cm	Changed Product Group, Product Sub-Group.

Amended benefit with $950.00 gap.

MC354	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT-522	Pump Dimensions: 5.1 x 7.6 x 2.0cm	Changed Product Group, Product Sub-Group.

Amended benefit with $950.00 gap.

MC618	Medishield	Medishield is a co-polmer gel composed of 	3cc Syringe	Changed Product Group.

carboxymethylcellulose and polyethylene.	Amended benefit with $555.00 gap.

Neurosurgical

MC293	Vertex Spinal System	Occipital Plate	24 - 40 mm length	Changed Product Sub-Group.

MC294	Vertex Spinal System	Occipital Buttons	Bolt 6 - 30 mm Length	Changed Product Group, Product Sub-Group,

Suffix.

MC295	Vertex Spinal System	Pre - curved rod	150 - 300 mm length	Changed Product Sub-Group.

MC296	Vertex Spinal System	Occipital Screws	 3.0 - 5.0 mm diameter, 4 - 30 mm length	Changed Product Sub-Group.

MC305	Low Profile Impedance Extension Kit for DBS Model 	Silicone Rubber	25, 40, 51, 66, 95cm	Changed Product Name.

7482A

MC310	Centerpiece	TiMesh LP	Screw	Changed Product Sub-Group, Suffix.

MC343	Venture Self Drilling Screws	single or multi level plate construct, titanium alloy	4.0mm x 8mm - 21mm ; 4.5mm x 8mm -21mm 	Changed Product Sub-Group, Suffix.

variable Angled

MC344	Venture Self Drilling Screws	single or multi level plate construct, titanium alloy	4.0mm x 8mm - 21mm, 4.5mm x 8mm - 21mm Fixed	Changed Product Sub-Group, Suffix.

Angled

MC347	Venture Self tapping Screws	Single or multi level plate construct, titanium alloy.	4.0mm x 8mm - 21mm; 4.5mm x 8mm - 21mm 	Changed Product Sub-Group, Suffix.

Variable Angled

MC348	Venture Self tapping Screws	Single or multi level plate construct, titanium alloy.	4.0mm x 8mm - 21mm; 4.5mm x 8mm - 21mm Fixed	Changed Product Sub-Group, Suffix.

Angled

MC350	Pisces Z Quad Lead Model 3890	Material - Polyurethane (lead body), platinum-iridium	Lead length: 28-56cm; Electrode length: 3mm; 	Changed Product Name, Description, Size.

(electrodes)	Electrode spacing: 6mm

MC375	Colorado Spinal System	Open Hooks	5.5mm - 6.35mm	Changed Description, Size.

MC377	Colorado Spinal System	Colorado 2 Clamp	.	Changed Product Sub-Group, Suffix.

MC384	Colorado 2	Pedicle Screw	Diameter 5.5 - 7.5 Lengths 30 - 70mm	Changed Product Sub-Group, Suffix.

MC394	CD Horizon	Set screw	Each in one size	Changed Description, Suffix.

MC408	CD Horizon	Crosslink, Plate, Multi-span late, Offset plate, 	60 - 200mm	Changed Suffix.

Transverse links

MC409	CD Horizon	domino axial Connector	Connector, Lateral open, lateral closed, closed 	Changed Description.

reduction - 1size, DTT Transverse - 70 - 100mm,

Domino - 5.5 - 6.35mm

MC412	Cornerstone SRC Cage	Staple, Carbon composite	.	Changed Product Sub-Group.

MC413	Cornerstone Cage	Sterile and Non-sterile	4, 5, 6, 7, 8, 9, 10mm	Changed Suffix.

MC423	Atlantis	Fixed Angle Cancellous Screw	10-20mm	Changed Product Sub-Group, Suffix.

MC424	Atlantis	Variable Angle Cancellous Screw	10-20mm	Changed Product Sub-Group, Suffix.

MC431	Colorado Spinal System	Staple	One size only	Changed Product Sub-Group.

Changed Items for Prostheses List Report	Page 121 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MC432	Colorado Spinal System	Sacral Plate 	Left/right	Changed Product Group, Product Sub-Group.

MC433	Colorado Spinal System	Ilio-Sacral Plate	Left/right	Changed Product Group, Product Sub-Group.

MC434	Colorado Spinal System	Connector for Sacral & Ilio-Sacral Plate	One size only	Changed Product Group, Product Sub-Group,

Suffix.

MC437	CD-Horizon	Staples	One size only	Changed Product Sub-Group.

MC447	UCSS	Cortical Screws 	30 - 50mm	Changed Product Sub-Group, Suffix.

MC448	UCSS	Cortical Lag Screws	36 - 50mm	Changed Product Sub-Group, Suffix.

MC458	TSRH 3D 	Screw	4.5 -8.5mm diameter	Changed Product Sub-Group, Suffix.

MC459	TSRH 3D 	Extended Post Screw	30-50mm	Changed Product Sub-Group, Suffix.

MC462	Zephir	Cancellous Screw	13-17mm	Changed Product Sub-Group, Suffix.

MC482	Axis Cervical Plating System	Screw: Cancellous	6 - 24mm	Changed Product Sub-Group, Suffix.

MC483	Axis Cervical Plating System	Screw: Cortical	26 - 54mm	Changed Product Sub-Group.

MC484	Orion Anterior Cervical System	Convergent or Divergent Plates	21.5 - 47.5mm	Changed Product Sub-Group.

MC485	Orion Anterior Cervical System	Convergent or Divergent Plates	50 - 60mm	Changed Product Sub-Group.

MC486	Orion Anterior Cervical System	Convergent or Divergent Plates	62.5 - 77.5mm	Changed Product Sub-Group.

MC487	Orion Anterior Cervical System	Convergent or Divergent Plates	80 - 95mm	Changed Product Sub-Group.

MC488	Orion Anterior Cervical System	Convergent or Divergent Plates	100 - 110mm	Changed Product Sub-Group.

MC489	Orion Anterior Cervical System	Cancellous Screw	10 - 17mm	Changed Product Sub-Group, Suffix.

MC496	Tenor	Transverse Links - Titanium	40-100mm	Changed Suffix.

MC503	CD Horizon	Fixed Angle Screw	25 - 90mm	Changed Product Sub-Group, Suffix.

MC506	Orfil	Double Pearl-Tipped Wires	1 - 350mm	Changed Product Sub-Group.

MC511	Premier Anterior Cervical Plate System	Screws	10 20mm	Changed Product Sub-Group, Suffix.

MC577	R90 Spacer	Spinal Implant (Peek)	Height: 7mm - 16mm, Lordosis: 6 degrees - 18 	Changed Suffix.

degrees, Length: 18 -27mm

MC578	Union CC System	Cage	6mm - 12mm,  0 - 8 degrees	Changed Suffix.

MC579	CD Horizon	Spondylolisthesis Screw	Diameter: 4.5 - 7.5, Length: 25mm - 50mm	Changed Suffix.

MC585	Maverick Artificial Disc	Cobalt Chrome	8mm - 14mm	Changed Product Sub-Group.

MC589	Affinity Anterior cervical cage System	The Affinity Cage is constructed of titanium alloy - kit 	6 x 12mm; 6 x 14mm; 7 x 12mm; 7 x 14mm; 8 x 	Changed Product Sub-Group, Suffix.

includes trials, reamers and inserters.	12mm; 8 x 14mm; 9 x 12mm; 9 x 14mm; 10 x 12mm;

10 x 14mm; 11 x 12mm; 11 x 14mm; 12 x 12mm; 12 x

14mm

MC590	Vertex Reconstruction System Crosslink Bar	Composition -  titanium alloy. The system allows for 	One size only	Changed Product Group, Product Sub-Group,

the adaptation of components from other Sofamor 	Suffix.

Danek systems to provide for constructs tailor made

for individual cases.

MC592	CD Horizon System	SMA Staple	Length 4-10mm	Changed Product Sub-Group, Suffix.

MC593	CD Horizon System	SMA Staple	Length 12-18mm	Changed Product Sub-Group, Suffix.

MC594	Mastergraft	Calcium Phosphate Ceramic Granules	5cc Vial	Changed Product Sub-Group.

Changed Items for Prostheses List Report	Page 122 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MC595	Mastergraft	Calcium Phosphate Ceramic Granules	10cc Vial	Changed Product Sub-Group.

MC596	Mastergraft	Calcium Phosphate Ceramic Granules	15cc Vial	Changed Product Sub-Group.

MC597	Mastergraft	Calcium Phosphate Ceramic Granules	30cc Vial	Changed Product Sub-Group.

MC608	TSRH	Connector	Small, Medium, Large	Changed Product Name, Product Sub-Group,

Suffix.

MC611	Vantage	Vantage Plates and Screws; Thoracic Screw	5.5 x 15-50mm	Changed Product Sub-Group, Suffix.

MC613	Vantage	Vantage Plates and Screws; ATL Screw	6.5 x 30-55mm	Changed Product Sub-Group, Suffix.

MC614	Vantage	Vantage Plates and Screws; Staple (rostral/caudal)	One Size Only	Changed Product Sub-Group.

MC616	Atlantis System	Element Express Kit Includes Plate, 4 Screws, 	Plate 23 - 45mm	Changed Product Sub-Group.

Screwdriver Shaft, Screwdriver Handle

MC617	Nucleus Replacement	Spinal Disc	Thickness 5-25mm, Diameter 10-50mm	Changed Suffix.

MC633	Verte-Stack	Capstone Cage. Vertebral Body Spacer	Length: 22-36mm	Changed Suffix.

MC634	CD Horizon	X10 Crosslink	Multi-Span Plate: 25-81mm	Changed Suffix.

MC636	CD Horizon	Eclipse Dual Head Screws	20-60mm	Changed Suffix.

MC653	Xantus	Xantus cover Plate and Set Screw	40mm - 100mm Length in 4mm increments	Changed Suffix.

MC655	Xantus	Xantus Plate	40mm -100mm length in 4mm increments	Changed Product Sub-Group.

MC656	Pyramid	Pyramid Bone Screws	6.5mm Diameter, 20 -60mm length in 5mm 	Changed Product Sub-Group, Suffix.

MC657	Pyramid	Pyramid Cover Plate and Set Screw	17mm - 35mm length in 2 mm increments	Changed Suffix.

MC658	Engage	Bolt	5.5 to 8.5mm diameter	Changed Product Sub-Group, Suffix.

MC660	Mastergraft	Matrix	5cc	Changed Product Sub-Group.

MC661	Pyramid	Pyramid Plate	17mm - 35mm	Changed Product Sub-Group.

MC662	Mastergraft	Matrix	20cc	Changed Product Sub-Group.

MC663	Mastergraft	Matrix	10cc	Changed Product Sub-Group.

MC664	Xantus	Xantus Bone Screws	6.5mm Diameter, 20 - 60mm length in 5mm 	Changed Product Sub-Group, Suffix.

MC666	CD Horizon	Legacy lliac Screw	6.5mm to 8.5mm Diameter	Changed Product Sub-Group.

MC667	SiLo	Set Screw	One Size only	Changed Suffix.

MC671	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	20cc	Changed Product Sub-Group.

Supplement

MC673	Verte-Stack	Perimeter Cage	Extra Small, Small, Medium, Large, Extra Large	Changed Suffix.

MC685	Verte-Stack Crescent	PEEK	Height 6 - 18mm	Changed Product Group, Product Sub-Group.

MC708	CD Horizon	X10 Crosslink	Fixed Plate: 16-31mm	Changed Suffix.

MC724	Colorado Spinal System	Closed Hooks	5.5mm-6.35mm	Changed Description, Size.

MC725	Telamon	Cage	8 - 16mm	Changed Suffix.

Orthopaedic

MC415	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	1-3cc	Changed Product Group, Product Sub-Group,

Supplement	Suffix.

Changed Items for Prostheses List Report	Page 123 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MC669	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	5cc	Changed Product Group, Product Sub-Group.

Supplement

MC670	BCP	Biphasic Calcium Phosphate Reabsorbable Graft 	10cc	Changed Product Group, Product Sub-Group.

Supplement

MC683	Infuse Bone Graft	Recombinant human Bone Morphogenetic Protein 	Medium 8.4mg	Changed Product Group, Product Sub-Group,

rhBMP-2	Suffix.

MC684	Infuse Bone Graft	Recombinant human Bone Morphogenetic Protein 	Large 12mg	Changed Product Group, Product Sub-Group,

rhBMP-2	Suffix.

Plastic and Reconstructive

MC548	Macropore	Cranial Recon	29 - 165mm	Compressed from MC548, MC549.

MC550	Macropore	Rectangle Plates	4-8 hole	Compressed from MC550, MC552.

Vascular

MC160	Talent lliac Extension Graft	Talent Endoluminal Stent Graft - lliac Extension	8 - 26mm x 60 - 200mm	Changed Product Sub-Group, Suffix.

MC203	Talent Occluder System	Nitinol stents attached to polyester graft sealed both 	Standard Sizes, 8 - 24mm x 31 - 35mm	Changed Product Sub-Group, Suffix.

ends

MC206	Talent Thoracic Stent Graft	Talent Endoluminal Stent Graft - Thoracic Stent Graft 	22 - 46mm x 130mm	Changed Product Sub-Group, Suffix.

System	Amended benefit.

MC328	Racer Renal Stent System	Cobalt Alloy	Diameter: 4-7mm; Lengths: 12 &18mm	Changed Product Sub-Group, Suffix.

MC743	Complete SE Stent	Nitinol	20mm - 80mm	Changed Product Sub-Group, Suffix.

MC744	Complete SE Stent	Nitinol	100mm - 120mm	Changed Product Sub-Group, Suffix.

MC748	Valiant Endovasculat Stent Graft	Nitinol and polyester system	24-46mm diameter, 150mm length	Changed Product Sub-Group, Suffix.

Amended benefit with $2,445.00 gap.

MC760	Complete SE Stent	Nitinol	150mm	Changed Product Sub-Group, Suffix.

Mentor Medical Systems

Plastic and Reconstructive

MN001	Mentor Radovan Tissue Expander	-	Volume 25cc - 1000cc	Changed Product Group, Product Sub-Group.

Amended benefit.

MN002	Expanders, skin	-	Volume 350cc - 800cc	Changed Product Group, Product Sub-Group.

Amended benefit.

MN004	Mentor Siltex Spectrum Saline Tissue Expander	Saline Mammary Prostheses	Volume 275cc - 650cc	Changed Product Group, Suffix.

Amended benefit.

MN010	Mentor Saline-Filled Anterior Diaphragm Valve 	Mammary Prothesis - Smooth	125 to 700cc	Changed Product Group.

Mammary Prosthesis 	Amended benefit.

MN011	Mentor Saline Siltex Anterior Diaphragm 	Mammary Prothesis - Textured	125 to 475cc	Changed Product Group, Suffix.

ValveMammary Prosthesis	Amended benefit.

MN013	Mentor Siltex Becker Expander/Mammary Prostheses	.	150, 200, 250, 300, 350, 400, 500, 600, 700. 800cc	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MN014	Mentor Medical Systems Smooth Low Bleed Gel-	a	100,125,150,175,200,225,250,275,300,325,400,450,500,	Changed Product Group.

Filled,  Mammary Prostheses Breast, Permanently 	550,600,700,800cc	Amended benefit.

Implantable

Changed Items for Prostheses List Report	Page 124 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MN015	Mentor Siltex Low Bleed Gel-Filled (Moderate Profile)	.	100,125,150,175,200,225,250,275,300,325,350,375,400,	Changed Product Group.

Mammary Prostheses Breast, Permanently 	500,550,600,700,800cc	Amended benefit.

MN016	Mentor Siltex Low Bleed Gel-Filled (High Profile) 	.	75, 200, 225, 250,  275, 300, 325, 350, 400, 450, 500, 	Changed Product Group, Suffix.

Mammary Prostheses Breast, Permanently 	550cc	Amended benefit.

MN017	Mentor Medical Systems Contour Profile Gel-filled 	.	120,135,155,180,215,245,280,315,355,395,440,480,530,	Changed Product Group, Suffix.

Mammary Prostheses, Breast, Permanently 	640,775cc	Amended benefit.

MN018	Smooth High Profile Gel-filled Mammary Prostheses	Mammary prostheses	125cc-Model 350-1254BC; 150cc-Model 350-1504BC; 	Changed Product Group, Suffix.

175cc-Model 350-1754BC; 200cc-Model 350-2004BC; 	Amended benefit.

225cc-Model 350-2254BC; 250cc-Model 350-2504BC;

275cc-Model 350-2754BC; 300cc-Model 350-3004BC;

325cc-Model 350-3254BC; 350cc-Model 350-3504BC;

375cc-Model 350-3754BC; 400cc-Model 350-4004BC;

425cc-Model 350-4254BC; 450cc-Model 350-4504BC;

500cc-Model 350-5004BC; 550cc-Model 350-5504BC,

600cc-Model 350-6004BC; 650cc-Model 350-6504BC;

700cc-Model 350-7004BC; 800cc-Model 350-8004BC

MN019	Siltex High Profile Gel-filled Mammary Prostheses	Mammary Prostheses	125cc-Model 354-4125; 150cc-Model 354-4150; 	Changed Product Group, Suffix.

175cc-Model 354-4175; 200cc-Model 354-4200; 	Amended benefit.

225cc-Model 354-4225; 250cc-Model 354-4250;

275cc-Model 354-4275; 300cc-Model 354-4300;

325cc-Model 354-4325; 350cc-Model 354-4350;

375cc-Model 354-4375; 400cc-Model 354-4400;

425cc-Model 354-4425; 450cc-Model 354-4450;

500cc-Model 354-4500; 550cc-Model 354-4550;

600cc-Model 354-4600; 650cc-Model 354-4650;

700cc-Model 354-4700; 800cc-Model 354-4800

MN023	Smooth Round High Profile Saline-Filled Mammary 	Model 350-3170; Model 350-3190; Model 350-3210; 	170cc, 190cc, 210cc, 230cc, 250cc, 270cc, 290cc, 	Changed Product Group, Product Sub-Group,

Prosthesis	Model 350-3230; Model 350-3250; Model 350-3270; 	310cc, 330cc, 380cc, 420cc, 460cc, 500cc, 560cc, 	Suffix.

Model 350-3290; Model 350-3310; Model 350-3330; 	630cc	Amended benefit.

Model 350-3380; Model 350-3420; Model 350-3460;

Model 350-3500; Model 350-3560; Model 350-3630

MN024	Round Cohesive Gel-Filled Mammary Prosthesis	Model 354-1009; Model 354-1259; Model 354-1509; 	100cc, 125cc, 150cc, 175cc, 200cc, 225cc, 250cc, 	Changed Product Group, Suffix.

Model 354-1759; Model 354-2009; Model 354-2259; 	275cc, 300cc, 325cc, 350cc, 375cc, 400cc, 450cc, 	Amended benefit.

Model 354-2509; Model 354-2759; Model 354-3009; 	500cc, 550cc, 600cc, 700cc, 800cc

Model 354-3259; Model 354-3509; Model 354-3759;

Model 354-4509; Model 354-5009; Model 354-5509;

Model 354-6009; Model 354-7009; Model 354-8009;

Model 354-4009

Morton Surgical Pty Ltd t/a Matrix Surgical Company

General/Miscellaneous

MG001	Aspide Surgimesh	Monofilament polypropylene	AS 59611p - 6 x 11cm Thread 0.14mm Box/5	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MG002	Heliogast Adjustable Gastric Ring	Silicone and Titanium	HAGM (medium) Inner Diameter 27.5mm; HAGS 	Changed Product Group.

(small) Inner Diameter 25mm; HAGA (advanced) 	Amended benefit.

Inner Diameter 27mm

Changed Items for Prostheses List Report	Page 125 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MG004	Aspide Surgimesh	Monofilament polypropylene	AS 2812p - 8 x 12cm Thread 0.14mm Box/5	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MG005	Aspide Surgimesh	Monofilament polypropylene	AS 31013p - 10 x 13cm Thread 0.14mm Box/5	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MG006	Aspide Surgimesh	Monofilament polypropylene	AS 511015p - 10 x 15cm Thread 0.14mm Box/5	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MG007	Aspide Surgimesh	Monofilament polypropylene	AS 41515p - 15 x 15cm Thread 0.14mm Box/5	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MG008	Aspide Surgimesh	Monofilament polypropylene	E33Lg - Easyplug Large Box/5	Changed Product Group, Product Sub-Group.

Amended benefit.

MG009	Aspide Surgimesh	Monofilament polypropylene	E33mg - Easyplug Medium Box/5	Changed Product Group, Product Sub-Group.

Amended benefit.

MG010	Aspide Surgimesh	Monofilament polypropylene	E33Sgp - Easyplug Small Box/5	Changed Product Group, Product Sub-Group.

Amended benefit.

MG018	HAGA Acess Port	Access Port contains Titanium and Silicone	Standard	Changed Product Group.

Amended benefit.

MG019	Surgimesh WN / Surgimesh WN non-adherent	Surgimesh WN non-adherent 14x15cm	Tintra S 14x15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $456.00 gap.

MG020	Surgimesh WN / Surgimesh WN non-adherent	Surgimesh WN no-adherent	Tintra R 12,5cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $511.00 gap.

MG021	Surgimesh WN / Surgimesh WN non-adherent	Surgimesh WN non-adherent	Tintra M 22x15x10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $915.00 gap.

MG022	Surgimesh WN / Surgimesh WN non-adherent	Sugimesh WN non-adherent	Tintra L 30x30x20cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $1,175.00 gap.

MG023	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN Alfi ep	Talfi - 8 80g	Changed Size, Product Group, Product Sub-

Group, Suffix.

Amended benefit.

MG024	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN 1/2 ovale	T613 - 856x13cm FPD ep 80g	Changed Size, Product Group, Product Sub-

Group, Suffix.

Amended benefit.

MG025	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN	T1015 10x15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

MG026	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN	T1115-8 11x15cm, 80g	Changed Size, Product Group, Product Sub-

Group, Suffix.

Amended benefit.

MG027	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN with window	T1115-8F, 11x15cm	Changed Size, Product Group, Product Sub-

Group, Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 126 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

MG028	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN	T1415-8 14x15cm	Changed Size, Product Group, Product Sub-

Group, Suffix.

Amended benefit.

MG029	Surgimesh wn/surgimesh wn non-adherent	SurgimeshWN	T303030x30cm	Changed Size, Product Group, Product Sub-

Group, Suffix.

Amended benefit.

N Stenning  & Co Pty  Ltd

General/Miscellaneous

NG006	Horizon Ligating Clips  	Ligation Clips Titanium 	Small (6 per cartridge)  	Changed Product Group, Product Sub-Group.

Amended benefit.

NG007	Horizon Ligating Clips  	Ligation Clips Titanium 	Small  (24 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit.

NG008	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium (6 per cartridge), Micro (6 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit.

NG009	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium  (24 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit.

NG010	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (6 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit with $5.95 gap.

NG011	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (24 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit with $4.91 gap.

NG012	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (6 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit with $10.40 gap.

NG013	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (24 per cartridge)	Changed Product Group, Product Sub-Group.

Amended benefit with $14.38 gap.

NG014	Hemoclip 	Titanium Clips	Small, Medium (25 per cartridge); Large (15 per 	Changed Product Group, Product Sub-Group.

cartridge)	Amended benefit with $6.00 gap.

NG016	Hemoclip 	Titanium Clips	Medium  (10 per cartridge) 	Changed Product Group, Product Sub-Group.

Amended benefit.

NG017	Hemoclip 	Titanium Clips	Small (10 per cartridge) 	Changed Product Group, Product Sub-Group.

Amended benefit.

NG018	Hemoclip  	Titanium Clips	Med-large (10 per cartridge) 	Changed Product Group, Product Sub-Group.

Amended benefit.

NG019	Hemoclip 	Titanium Clips	Large (10 per cartridge) 	Changed Product Group, Product Sub-Group.

Amended benefit with $1.00 gap.

NG020	EZLoad Ligating Clips  	Titanium Clip 	Small (25 per cartridge); Med-Large, Large (10 per 	Changed Product Group, Product Sub-Group.

cartridge) 	Amended benefit with $7.00 gap.

NG021	EZLoad Ligating Clips  	Titanium Clip 	Medium (25 per cartridge) 	Changed Product Group, Product Sub-Group.

Amended benefit.

NG022	EZLoad Ligating Clips  	Titanium Clip 	Small, Medium (10 per cartridge) 	Changed Product Group, Product Sub-Group.

Amended benefit with $15.50 gap.

NG023	Hemoclip Plus 	Ligation System Small and Medium	15 small preloaded clips and 20 medium preloaded 	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 127 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

NG025	Hem-o-Lok Polymer Non-Absorbable Ligating Clip	Hem-o-lok Medium (M), Medium-Large (ML) and 	Small, Medium, Medium-Large, Large	Changed Size, Product Group, Product Sub-

Large (L) Polymer Clips	Group.

Amended benefit with $4.00 gap.

NG042	Weck Hem-o-lok	Hem-o-lok Automatic Open Applier	15 Clips per applier	Changed Product Group, Product Sub-Group.

Amended benefit.

NG043	Weck Hem-o-lok	Hem-o-lok Automatic Endo Applier	15 Clips per applier	Changed Product Group, Product Sub-Group.

Amended benefit.

NG044	Hem-o-lok Polymer Non-Absorbable Ligating Clip	Hem-o-lok Extra-large (XL) Polymer Clips	Extra-large (XL)	Changed Product Group, Product Sub-Group.

Amended benefit with $16.93 gap.

NG047	Hanarostent Biliary Stent	Biliary Stent Silicone Covered Nitinol Wire 99% Pure 	Diameter: 8mm - 10mm Length: 50mm - 100mm	Changed Product Group, Product Sub-Group.

Gold complete with delivery device	Amended benefit.

NG048	Hanarostent/Choostent Covered Oesophageal Stent	Oesophageal Covered Stent Silicone Nitinol Wire 99% 	Diameter: 18mm - 22mm Usable Length: 30mm - 	Changed Product Group, Product Sub-Group.

Pure Gold Complete with delivery device	130mm	Amended benefit.

NG049	Hanarostent - Covered Tracheal airway Stent	Tracheal Airway Stent Silicone Nitinol Wire 99% Pure	Diameter: 12mm - 22mm Usable Length: 30mm - 	Changed Product Group, Product Sub-Group.

Gold Complete with delivery device	80mm Total Length:  40mm - 80mm	Amended benefit.

NG050	Hanarostent Colo-Rectal Stent	Colo-Rectal Stent Silicone covered Nitinol Wire 99% 	16mm - 24mm Diameter, 38mm - 130mm Length	Changed Product Group, Product Sub-Group.

Pure Gold complete with delivery device	Amended benefit.

Urogenital

NG045	Essure System (ESS305)	Stainless steel, polyester fibre	One size only, 2 per pack	Changed Product Name, Product Sub-Group.

National Surgical Corporation Pty Ltd

General/Miscellaneous

NI154	Alpha Infusion Pump System	Alpha Infusion Pump Kit 200ml (includes pump, 	200ml	Changed Product Group, Product Sub-Group,

introducer needle, syringe, carry bag, instructions) 	Suffix.

sterile	Amended benefit.

NI155	Alpha Infusion Pump System	Alpha Infusion Pump Kit 450ml (includes pump, 	450ml	Changed Product Group, Product Sub-Group,

introducer needle, syringe, carry bag, instructions) 	Suffix.

sterile	Amended benefit with $20.00 gap.

NI156	Alpha Infusion Pump System	Alpha Infusion Pump Endhole Catheter	0.5, 1.0, 2.0, 4.0 and 5.0ml/per hour endhole catheters	Changed Product Group, Product Sub-Group.

Amended benefit with $50.00 gap.

NI157	Alpha Infusion Pump System	Alpha Infusion Pump Mulltidrip Catheter	2.0, 4.0ml hour, 6 or 12cm infusion length	Changed Product Group, Product Sub-Group.

Amended benefit with $50.00 gap.

NI158	Alpha Infusion Pump System	STA endhole catheter including attachment suture	2.0, 4.0 ml per hour	Changed Product Group, Product Sub-Group.

Amended benefit with $120.00 gap.

Plastic and Reconstructive

NI139	Distraction Device	Medicon Ti - Mandibular Distraction/Adjust	15 - 20mm	Changed Product Group.

NI140	Distraction Device	Medicon Ti - Mandibular Distraction	10 - 25mm	Changed Product Group.

Neoss Australia Pty Ltd

Plastic and Reconstructive

NJ001	Neoss Implant System	Neoss Implant System - including cover screw and 	Diameters 3.5, 4.0, 4.5, 5.0 & 5.5mm in Lengths: 7, 9, 	Changed Product Name, Description, Size.

two healing abutments	11, 13, 15, 17mm

Changed Items for Prostheses List Report	Page 128 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

NJ002	Neoss Implant System	Neoss Prepable Abutment Titanium	Straight or 15 degree including Abutment Screw and 	Changed Product Name, Description.

Laboratory Screw

NJ003	Neoss Implant System	Neoss Abutment Titanium including Abutment Screw, 	universal	Changed Product Name, Description.

Laboratory Screw and 10 preformed abutments

NJ004	Neoss Implant System	Neoss Abutment Gold including Abutment Screw, 	universal	Changed Product Name, Description.

Laboratory Screw and 10 preformed abutments

NJ005	Neoss Implant System	Neoss Matrix Aesthetic Abutment Titanium including 	Hex RP; Hex NP; Replace dia 4.3; Replace dia 3.5; 	Changed Product Name, Description, Size,

Abutment Screw, Laboratory Screw and 10 	Straumann dia 4.8.	Suffix.

preformed abutments.

NJ006	Neoss Implant System	Matrix Abutment Gold	Hex RP; Hex NP; Replace dia 4.3; Replace dia 3.5; 	Changed Product Name, Size.

Straumann dia 4.8.

NJ007	Neoss Implant	Neoss ball abutment	1, 3 & 4.5mm	Changed Product Name, Description.

NJ008	Neoss Implant	Bar Abutment Titanium	universal	Changed Product Name.

NJ009	Neoss Implant	Healing Abutment with Screw	universal	Changed Product Name.

Nipro Asia Pty Ltd

General/Miscellaneous

NQ001	Surefuser	Surefuser 50ml. Sterile infusion devices, spring or 	Volume of 50ml at 10ml/hr, or at 4.2ml/hr, or at 	Changed Product Group, Product Sub-Group.

elastometric driven. Various flow rates	2.1ml/hr, or at 1.0ml/hr, or at 0.7ml/hr or at 0.4ml/hr or	Amended benefit.

at 0.3ml/hr

NQ002	Surefuser	Surefuser 100ml. Sterile infusion devices, spring or 	Volume of 100ml at 200ml/hr, or at 100ml/hr, or at 	Changed Product Group, Product Sub-Group.

elastometric driven. Various flow rates	20ml/hr, or at 8.3ml/hr, or at 4.2ml/hr, or at 2.0ml/hr, 	Amended benefit.

or at 0.8ml/hr or at 0.6ml/hr

NQ003	Surefuser	Surefuser 250ml. Sterile infusion devices, spring or 	Volume of 250ml at 125ml/hr, or at 62.5ml/hr, or at 	Changed Product Group, Product Sub-Group.

elastometric driven. Various flow rates	10ml/hr, or at 5ml/hr, or at 3.5ml/hr, or at 2.0ml/hr, or 	Amended benefit.

at 1.5ml/hr

Nucletron Pty Limited

General/Miscellaneous

NU001	selectSeed	Nucletron selectSeed Model # 130002 consists of 	One size only	Changed Product Group, Product Sub-Group.

cylindrical silver rod, coated with radioactive Iodine-	Amended benefit.

125 layer. Active silver rod is encapsulated in hollow

titanium tube. Laser welding, using sperical shaped end

welds, seals the tube.

Nutricia Australia

General/Miscellaneous

NF001	Flocare Gastrostomy tube (G-tube)	The Flocare Gastrostomy tube can be used as a 	Ch10, 14, 18, 20	Changed Product Group, Product Sub-Group.

replacement of an existing gastrostomy tube (PEG or 	Amended benefit.

G-tube) or as an initial gastrostomy tube during a

surgical intervention. This balloon tube is made of

Carbothane, which ensures a longer life than tubing

made of PUR or silicone.

Nuvasive Australia Pty Ltd

Changed Items for Prostheses List Report	Page 129 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Neurosurgical

NV003	SpheRx	Transverse X-Connector	45 - 100mm	Changed Suffix.

NV006	Triad Facet Screw	Washer	One size	Changed Product Sub-Group.

Olympus Australia

General/Miscellaneous

OL001	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 clips	MD-59 - 90 degree, standard; MD-850 - 135 degree, 	Changed Product Group, Product Sub-Group.

standard; HX-600-090 - standard, sterile; HX-600-135 	Amended benefit.

- standard, sterile

OL002	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 clips	MH-858 - 90 degree, long. MH-859 - 90 degree, short. 	Changed Product Group, Product Sub-Group.

MAJ-458 - 90 degree, short. MAJ-459 -135 degree, 	Amended benefit.

short.

OL003	Bile Duct Stent	Polyethylene Stents	7FR - 12FR 3cm - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

OL004	Bile Duct Stent	Polyethylene Stents	7FR - 10FR 3cm - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

OL005	Bile Duct Stent	Fluorinated Ethylene Propylene	10FR - 14FR 3cm -15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

OL006	Individual Ligating Clip	Ligating Device - loops. Pack of 10 loops.	MAJ-254-30mm loop;  MAJ-339- 13mm loop; MAJ-	Changed Product Group, Product Sub-Group.

340 -20 mm loop	Amended benefit.

OL008	Olympus Biliary Stent Set	Radio-opaque Polyethglare Stent Set	7Fr 3cm - 15cm, 8Fr 3cm - 15cm, 10Fr 3cm - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit with $113.00 gap.

OL009	Rotatable Clip fixing device	Endoscopic Mechanical	Standard or long clip length, 9 or 11mm jaw opening	Changed Product Group, Product Sub-Group.

Amended benefit.

OL010	Ligation device	Disposable pre-assembled applier and ligating loop	Sheath Length 1650-2300mm	Changed Product Group, Product Sub-Group.

Amended benefit.

Oncura Pty Limited

General/Miscellaneous

ON001	Iodine 125 - 'Rapid Strand' Brachytherapy Implant, 	Rapid Strand consists of 10 welded titanium capsules 	One size each	Changed Product Group, Product Sub-Group.

Iodine 125 - 'OncoSeeds' Brachytherapy Implant	containing iodine-125 absorbed onto a silver rod.  	Amended benefit.

OncoSeeds consists of the loose seeds only.

ON002	Iodine 125 - Rapid Strand Brachytherapy Implant; 	I-125 Rapid Strand, code IMC 7000, consists of 10 	One size only	Changed Product Group, Product Sub-Group.

OncoSeeds Brachytherapy Implant	welded titanium capsules containing iodine 125. This 	Amended benefit.

assembly is sterile, the acitivity of the capsules "seeds"

is available from 0.18mCi to 0.70mCi.  Individual I-

125 capsules (seeds) are also available as OncoSeeds

IMC6711.  To be used only if more than 120 seeds are

used per patient.

Orthocare Pty Limited

General/Miscellaneous

OC001	Pain Care 2000	Pain Care 2000 System	One size only	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 130 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

OC002	Pain Care 2000	"Y" Accessory Kit	One size only	Changed Product Group, Product Sub-Group.

Amended benefit.

OC003	Pain Care 2000L	Pain Care 2000L System	One Size Only	Changed Product Group, Product Sub-Group.

Amended benefit.

OC004	Pain Care 2000L	"Y" Accessory Kit	One Size Only	Changed Product Group, Product Sub-Group.

Amended benefit.

OC005	Pain Care 2000L	Multiport Catheter 54"	One Size Only	Changed Product Group, Product Sub-Group.

Amended benefit.

OC006	Breg Paincare 3000	100ml Continuous Infusion device (delivers 2ml/hr) 	100cc reservoir	Changed Product Group, Product Sub-Group.

with additional 4ml bolus.  Code # 10314	L=10.4cm, D=3.0cm, W=7.4cm	Amended benefit with $110.00 gap.

OC007	Breg Paincare 3200	200ml Continuous Infusion device (delivers 4ml/hr) 	200cc reservoir	Changed Product Group, Product Sub-Group.

with additional 4ml bolus Code # 11030	L=10.4cm, D=6.5cm, W=7.4cm	Amended benefit with $135.00 gap.

OC008	Breg Paincare 4200	200ml Continuous Infusion device (delivers 2ml/hr) 	200cc reservoir	Changed Product Group, Product Sub-Group.

with additional 4ml bolus Code # 11090	L=10.4cm, D=6.0cm, W=7.0cm	Amended benefit with $135.00 gap.

Orthopaedic

OC009	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	5mm	Changed Product Group, Product Sub-Group.

absorbable. Stainless Steel non-absorbable. Non-sterile

57-73

OC010	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	10mm	Changed Product Group, Product Sub-Group.

absorbable. Stainless Steel non-absorbable. Non-sterile

57-74

OC011	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt non-	15mm	Changed Product Group, Product Sub-Group.

absorbable. Stainless Steel non-absorbable.  Non-sterile

57-75

OC012	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	6mm	Changed Product Group, Product Sub-Group.

absorbable. Non-sterile

OC013	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	8mm	Changed Product Group, Product Sub-Group.

absorbable. Non-sterile

OC014	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	11mm	Changed Product Group, Product Sub-Group.

absorbable. Non-sterile

OC015	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt staples, non-	16mm	Changed Product Group, Product Sub-Group.

absorbable. Non-sterile

Orthopaedic Solutions Pty Ltd

Orthopaedic

OE002	BioProfile Pyrocarbon Carpal Components	Includes: Proximal Scaphoid; Scapho-Trapezium; 	One Size Only	Changed Product Group, Product Sub-Group.

Resurfacing Capitate & Trapezium Interposition

Implants. Composition: Pyrolitic Carbon

OE005	Futura Conical Subtalar Implant	Titanium	7 - 12	Changed Product Group, Product Sub-Group.

OE006	Stayfuse	Titanium inter-digital fusion device	Prox 2.8mm Blue; Mid 3.8mm x 6mm Blue; Mid 	Changed Size, Product Group, Product Sub-

4.3mm x 6mm Blue; Prox 3.3mm Grey; Prox 3.8mm 	Group.

Grey; Mid 3.8 x 6mm Grey; Mid 4.3 x 6mm Grey;

Mid 5.0 x 5mm Grey; Mid 5.0 x 6mm Grey; Prox

6.5mm Gold; Distal 5.5 x 10mm Gold; Distal 6.5 x

Changed Items for Prostheses List Report	Page 131 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Orthotech Pty Ltd

General/Miscellaneous

OH065	PC2000 Pain Control Infusion Pump	Plastic spring loaded drug delivery device	0.5 ml - 4 ml	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $50.00 gap.

OH122	PC2000 Pain Control Infusion Pump Connector	Plastic spring loaded drug delivery device	0.5ml - 4ml	Changed Product Group, Product Sub-Group.

Amended benefit with $45.00 gap.

Neurosurgical

OH035	Synergy Spinal System	Sliders	4.75 - 6.35mm dia	Changed Product Sub-Group, Suffix.

OH040	Synergy Spinal System	Adjustable Transverse Connector With Rod/Clamp	3 - 6cm	Changed Suffix.

OH042	Synergy Spinal System	Lateral Connectors (Closed Rod)	4.75 - 6.35mm	Changed Product Sub-Group.

OH046	Synergy Spinal System	Washers Single/Double	16mm - 21mm	Changed Product Sub-Group.

OH047	Synergy Spinal System	Variable Locking Screws	6.5 - 7mm	Changed Product Sub-Group, Suffix.

OH048	Synergy Spinal System	Variable Locking Screw Seat	6.35mm	Changed Product Group, Product Sub-Group,

Suffix.

OH049	Synergy Spinal System	Variable Locking Screw Nut	13.8mm	Changed Product Group, Product Sub-Group,

Suffix.

OH050	Synergy Spinal System	Variable Locking Screw Reduction Seat	6.35mm	Changed Product Group, Product Sub-Group,

Suffix.

OH052	Interpore Bone Plate System	TPS Bone Plate	20 - 56cm	Changed Product Group, Product Sub-Group.

OH053	Interpore Bone Plate System	TPS Screw	14 - 22mm	Changed Product Sub-Group.

OH063	Anterior Cervical Plate System	Titanium Locking Plate	20 - 140mm	Changed Product Sub-Group.

OH064	Anterior Cervical Plate System	Titanium Cancellous Bone Screw	4 - 20mm	Changed Product Sub-Group.

OH123	GEO Structure Vertebral Cage - PLIF	3 dimensional titanium intervertebral cage	One size only	Changed Product Name.

OH129	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm	Changed Suffix.

OH166	Mendec Spine	Bone Cement	Cement	Amended benefit with $1,170.00 gap.

OH171	Mendec Spine	Bone Cement	Cement Kit	Amended benefit with $1,260.00 gap.

OH197	Array Spinal System	Titanium Alloy Modular Spinal System - cross 	Large, Medium, Small, Xsmall, 24mm, 22mm, 	Changed Suffix.

connector	20mm, 18mm, 16mm

OH204	Altius Occipito-Cervico-Thoracic (OCT) System	Locking and CAP Nuts	one size only	Changed Suffix.

OH206	Altius Occipito-Cervico-Thoracic (OCT) System	Connector	15, 30,  45 L&R	Changed Product Sub-Group.

OH207	Altius Occipito-Cervico-Thoracic (OCT) System	Screws	8mm to 32mm	Changed Product Sub-Group, Suffix.

OH209	Altius Occipito-Cervico-Thoracic (OCT) System	TI Occipital Plate	35-45mm, 40-50mm, 45-55mm	Changed Product Sub-Group.

OH211	Array Spinal System	Titanium Alloy Modular Spinal System - multiaxial 	5.5 - 7.5mm x 30 - 55mm	Changed Product Sub-Group.

screw

OH253	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) fixation screws	Screws/ Revision Screws - dia 4.4mm, length 11 - 18mm	Changed Product Sub-Group.

Changed Items for Prostheses List Report	Page 132 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

OH257	Stalif	Interbody Spinal Fusion Implant: 	37mm x 11, 13, 15mm; 41mm x 11, 13, 15mm; 45mm	Changed Product Sub-Group.

Retroperitoneal/Transperitoneal	 x 11, 13, 15mm; 37mm x 17mm, 41mm x 17mm,

45mm x 17mm

OH263	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) fixation screws	Plates - width 13mm, Height 4mm - 9mm, width 	Changed Product Sub-Group.

17mm, height 4mm - 9mm

OH305	ADD / ADDplus	Osmium Screw including bolt, titanium. The osmium 	length = 14, 16, 18mm with outer diameter of 5mm	Changed Product Group, Product Sub-Group,

screw is a two-component system consisting of a 	Suffix.

screw and a bolt. Expansion of the screw is achieved

by inserting the bolt. Hyper-expansion of the screw is

not possible.

OH308	Cosmic implant system	Cosmic Cross Links - titanium Bonit coating	cosmic transversal stabilizer, drop on leftcosmic 	Changed Size, Product Group, Product Sub-

transversal stabilizer, drop on right	Group, Suffix.

OH311	Cosmic implant system	Cosmic Rod (40,50,60,70,80mm) - titanium	diameter - 6.25mm, length - 40mmdiameter - 	Changed Size, Product Sub-Group.

6.25mm, length - 50mmdiameter - 6.25mm, length -

60mmdiameter - 6.25mm, length - 70mm

diameter - 6.25mm, length - 80mm

OH312	Cosmic implant system	Cosmic Rod (100, 120, 200mm)- titanium	diameter - 6.25mm, length - 100mmdiameter - 	Changed Size, Product Sub-Group.

6.25mm, length - 120mmdiameter - 6.25mm, length

- 200mmdiameter - 6.25mm, length - 70mm

diameter - 6.25mm, length - 80mm

OH316	Impix-C+ - Cervical Cage	Impix-C+ Pre-filled Cervical Cage	12.5mm x 14mm x 5mm, 12.5mm x 14mm x 6mm, 	Changed Suffix.

12.5mm x 14mm x 7mm, 14.5mm x 16mm x5mm,

14.5mm x 16mm x 6mm, 14.5mm x 16mm x 7mm,

14.5mm x 16mm x 8mm, 14.5mm x 16mm x 9mm

Orthopaedic

OH003	Pro-Osteon Implants 500	Granules	10mm x 10mm x 10mm (1cc) Block	Changed Product Group, Product Sub-Group.

OH004	Pro-Osteon Implants 500	Granules	10mm x 10mm x 40mm (4cc) Block	Changed Product Group, Product Sub-Group.

OH005	Pro-Osteon Implants 500	Granules	10 x 20 x 50mm (10cc) Block	Changed Product Group, Product Sub-Group.

OH008	Pro-Osteon Implants 500	Granules	10cc	Changed Product Group, Product Sub-Group.

OH010	Pro-Osteon Implants 500	Granules	20cc	Changed Product Group, Product Sub-Group.

OH014	Pro-Osteon Implants 200	Block	20 x 15 x 10mm Block	Changed Product Group, Product Sub-Group,

Suffix.

OH016	Pro-Osteon Implants 200	Block	0.8cc x 5 Syringes Grannules	Changed Product Group, Product Sub-Group.

OH019	Bone Plast Bone Void Filler	Powder	20cc	Changed Product Group, Product Sub-Group.

OH020	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr	Size 1 -  6	Changed Product Name, Description.

Amended benefit with $450.00 gap.

OH023	Optetrak Total Knee System Patellar Component 	All poly patella UHMWPE, cemented 	32 - 42mm	Changed Product Name, Description.

Amended benefit with $50.00 gap.

OH024	Optetrak Total Knee System CCK (Constrained 	Femoral Component, cemented, CoCr, totally 	Size 1 - 6	Changed Product Name, Description.

Condylar Knee) Femoral Component 	Amended benefit with $2,740.00 gap.

OH025	Optetrak Total Knee System Tibial Insert 	Tibial Insert, UHMWPE, fixed and totally stabilised 	Size 1 - 6	Changed Product Name, Description, Suffix.

with peg and reinforced with screw/post fixation (Spine	Amended benefit with $500.00 gap.

stiffening screw)

Changed Items for Prostheses List Report	Page 133 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

OH026	Optetrak Total Knee System Tibial Augments	Tibial Augments for CCK femoral component, half 	Size 1 - 6	Changed Product Name, Description.

and third blocks, titanium, screw fixation 	Amended benefit with $685.00 gap.

OH027	Optetrak Total Knee System Femoral and Tibial Stems	Femoral and Tibial Stems for Optetrak Knee System, 	Size 1 - 6	Changed Product Name, Description.

titanium, cemented or uncemented, femoral stem 	Amended benefit with $1,920.00 gap.

requires stem extension adapter on every occasion,

tibial stem requires screw fixation

OH029	Optetrak Total Knee System Femoral Augments 	Femoral Augments for CCK femoral component, 	Size 1-6	Changed Product Name, Description.

distal and posterior blocks, titanium, screw fixation 	Amended benefit with $617.00 gap.

OH055	Pro Osteon Implants 200	Granules, Porous Hydroxyapatite Bone Void Filler	5cc Syringe	Changed Product Group, Product Sub-Group.

OH056	Optetrak Total Knee System Tibial Stem Extension 	Tibial Stem Screw for Tibial stem fixation 	One size only	Changed Product Name, Description.

Screw 	Amended benefit with $760.00 gap.

OH057	Opetrak Total Knee System Femoral Stem Extension 	Femoral Stem Extension Adapter that provides for set 	One size only	Changed Product Name, Description.

Adpater 	changes in angulation of stem needs to be used on 	Amended benefit with $120.00 gap.

every occasion

OH059	Exactech M series modular Hip System	Modular femoral stem, titanium, polished, non HA	11 - 21mm x 135-165mm	Changed Product Name, Description.

OH060	Exactech M series modular Hip System	Femoral cone, titanium, plasma, not HA	21 - 23mm, S, M, L, XL	Changed Product Name, Description.

OH061	Exactech M Series body 	Titanium, complex neck segment 	32 - 49mm, -5 - +30mm	Changed Product Name, Description, Suffix.

OH062	Exactech Femoral Head 	Cobalt Chrome Head	-2 to -5mm, +0 to 10mm	Changed Product Name, Description.

OH082	Lima RPS Tumor System	RPS Humeral Head	46, 52, 58mm	Changed Product Group, Product Sub-Group,

Suffix.

OH083	Lima RPS Tumor System	RPS Total Shoulder Replacement Stem	200, 240, 280mm	Changed Product Group, Product Sub-Group,

Suffix.

OH084	Lima RPS Tumor System	RPS Additional Spacer	40, 60, 90, 120mm	Changed Product Group, Product Sub-Group.

OH085	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Uncemented Stem	8 - 16mm	Changed Product Group, Product Sub-Group.

OH086	Randelli/SMR Total Shoulder	Randelli/SMR Neutral Taper	0 - 6mm	Changed Product Group, Product Sub-Group.

OH087	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Head	42, 44, 46, 48, 50, 52, 54mm	Changed Product Group, Product Sub-Group.

OH088	Randelli/SMR Total Shoulder	Randelli/SMR Eccentrical Adapter	0 - 6mm	Changed Product Group, Product Sub-Group.

OH089	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Body with Locking Screw	One size only	Changed Product Group, Product Sub-Group.

OH090	Randelli/SMR Total Shoulder	Randelli SMR shoulder cemented stem	8, 10, 12, 14, 16mm	Changed Product Group, Product Sub-Group.

OH091	Lima RPS Femoral System	Cemented tumor Stem	130, 165, 200mm	Changed Description, Size, Suffix.

OH092	Lima RPS Femoral System	Modular Spacer	60 - 120mm	Changed Size, Suffix.

OH093	Lima ceramic femoral head 	Ceramic/Femoral Head, Biolox Forte	Small, Medium, Large	Changed Product Name, Description.

OH094	Lima Total Hip Replacement System	Titanium, plasma, HA	44 - 66mm	Changed Description, Product Sub-Group.

OH095	Lima Delta  Ceramic Liner	Ceramic Liner, biolox forte and delta	A, B, C, D, E	Changed Product Name, Description.

OH096	Lima Delta Cup Insert	Protruded UHMWPE Unmodified Liner	A, B, C, D, E	Changed Product Name, Description.

OH097	Lima Total Hip Replacement System	F2L Multineck Femoral Stem Uncemented, beaded, 	1 - 6	Changed Description.

with HA

OH098	Lima F2L modular neck 	Titanium	Short & Long (Straight & Angled)	Changed Product Name, Description.

OH100	Lima Friendly Stem 	Femoral Stem Cemented, tapered, polished	0, 1, 2, 3	Changed Product Name, Description.

Changed Items for Prostheses List Report	Page 134 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

OH102	Lima Plug and hood 	UHMWPE Cement Plug with distal femoral stem hood	8mm - 16mm	Changed Product Name, Description.

OH103	Lima bipolar Total Hip Replacement System	Bipolar shell, inset and head 	41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 51, 52, 53, 54, 55, 	Changed Product Name, Description.

56, 57mm

OH105	Lima Mueller Cup	UHMWPE Cup unmodified Cemented	44 - 62mm	Changed Product Name, Description.

OH108	Lima acetabular plate 	Acetabular reconstruction cage 	50, 54, 58, 62, 64mm	Changed Product Name, Description.

OH109	Lima reconstruction shell	Acetabular reconstruction shell	50 - 66mm	Changed Product Name, Description.

OH110	Lima Total Hip Replacement System	Lateralising Spacer	B, C, D, E	Changed Product Group, Product Sub-Group.

OH112	Lima bilobo bone revision shell	Acetabular reconstruction shell	50 - 58mm	Changed Product Name, Description.

OH113	Randelli/SMR Shoulder System	Cemented Glenoid	Mini, Small, Standard	Changed Product Group, Product Sub-Group.

OH114	Randelli/SMR Shoulder System	Uncemented Glenoid	Mini, Small, Standard	Changed Product Group, Product Sub-Group,

Suffix.

OH115	Randelli/SMR Shoulder System	Uncemented Glenoid Liner	Mini, Small, Standard	Changed Product Group, Product Sub-Group.

OH116	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 200mm	Changed Description.

OH117	Exactech Total Hip System	Modular stem Titanium polished, non HA	11-21mm x 250mm	Changed Description.

OH119	Exactech M series modular Hip System	Modular Titanium Revision Hip - Metaphyseal 	25-27mm, S, M, L, XL	Changed Product Name.

Segment

OH125	Lima Femoral Head 	CoCr Femoral Head	S, M, L, XL, XXL	Changed Product Name.

OH126	Cemex bone cement	1 mix Methylmethacrylate/Polymethylmethacrylate	1 mix 40g powder and 13.3g liquid	Changed Product Group, Product Sub-Group.

OH127	Cemex-genta bone cement	1 mix Methylmethacrylate/ Polymethylmethacrylate 	1 mix 40g powder and 13.3g liquid	Changed Product Group, Product Sub-Group,

with gentamiacin	Suffix.

OH137	Exactech Femoral Head 	Ceramic/Femoral Head, Biolox Forte	-2 to -5mm, +0 to +10mm	Changed Product Name, Description.

OH199	Lima Accent Hip System	Femoral Stem Cemented, tapered, polished	1 -6	Changed Description.

OH200	Lima Modulus Hip System	Femoral Body, grit blast, non HA	body w/screw, small and large	Changed Description, Size.

OH201	Lima Modulus Hip System	Femoral Stem, titanium, grit blast, non HA	Femoral Stem 16mm - 26mm	Changed Description.

OH202	Daphne	Metacarpophalangeal Joint Prosthesis	3, 4, 5, 6	Changed Product Group, Product Sub-Group.

OH212	Optetrak Total Knee System Femoral Component 	Femoral Component, cemented, CoCr, posterior 	Size 1 -  6	Changed Product Name, Description.

stabilised 	Amended benefit with $864.00 gap.

OH217	Lima Revision  Total Hip System	Titanium, grit blast, non HA	14, 16, 18, 20, 22, 24	Changed Product Name, Description.

OH218	Lima Revision  Total Hip System	Femoral body, Titanium, non HA	50 - 110mm	Changed Product Name, Description.

OH219	Exactech M Series Total Hip System	Femoral Cone with calcar 	21-31mm	Changed Product Name, Description, Suffix.

OH226	Exotech Novation C femoral stem	Femoral stem cemented unpolished	1-8	Changed Product Name, Description.

OH227	Lima C2 Femoral Stem	Femoral Stem, titanium, grit blast, non HA	1-8	Changed Description.

OH229	Lima Cup 	Metal Liner	28mm, 32mm and 36mm	Changed Product Name.

OH230	Optetrak Uni Condylar Knee System Femoral 	Uni Femoral Component, cemented, CoCr	1-6	Changed Product Name, Description, Product

Component  	Sub-Group.

Amended benefit with $200.00 gap.

OH231	Optetrak Uni Condylar Knee System Tibial 	Uni Tibial, all poly, Cemented	1-6	Changed Product Name, Description.

Component  	Amended benefit with $250.00 gap.

Changed Items for Prostheses List Report	Page 135 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

OH233	Optetrak Hi Flex Femoral Component 	Femoral Component, Cemented, CoCr, High Flex (Hi 	1-6	Changed Product Name, Description, Product

Flex), posterior stabilised 	Sub-Group.

Amended benefit with $450.00 gap.

OH234	Optetrak Hi Flex Femoral Component 	Femoral Component, uncemented, CoCr beaded, high 	1-6	Changed Product Name, Description.

flex (Hi Flex), posterior stabilised 	Amended benefit with $50.00 gap.

OH235	Optetrak RBK (Rotating Bearing Knee) Total Knee 	Tibial Insert, UHMWPE, mobile, posterior stabilised 	1-6	Changed Product Name, Description.

System Tibial Insert 	Amended benefit with $300.00 gap.

OH236	Optetrak RBK (Rotating Bearing Knee) Tibial 	Tibial Baseplate, titanium with polished insert surface, 	1-6	Changed Product Name, Description, Product

Baseplate 	cemented, for a mobile insert 	Sub-Group.

Amended benefit with $400.00 gap.

OH277	Gateshead rod (Arthrotomy set) - pack of 3	Cartilage repair-carbon fibre implant	3 x 12.5mm	Changed Product Group, Product Sub-Group,

Suffix.

OH278	Gateshead rod (Arthrotomy set) - pack of 5	Cartilage repair-carbon fibre implant	3 x 12.5mm	Changed Product Group, Product Sub-Group,

Suffix.

OH279	JRI Furlong Total Hip System	Uncemented Femoral Stem, titanium, grit blast, with 	12 /14 Taper, and 5mm offset, short and standard spigot	Changed Product Name, Description, Product

HA,  	Sub-Group.

OH280	JRI Furlonjg active stem	JRI Furlong Active Stem, Titanium Aloy with Supravit 	12 / 14 Taper, 9-16mm	Changed Product Name.

Coating, 12/14 Taper

OH281	JRI Furlong revision Total Hip System	Modular femoral stem, Grit blast, HA 	12 / 14 Taper, 200mm long, 200ml long 5mm offset	Changed Product Name, Description, Product

Sub-Group.

OH285	JRI Austin Moore Total Hip System	Cementless femoral stem	Head sizes range from 39mm - 56mm	Changed Product Name, Description.

OH286	JRI CSF Cup 	Grit blast with HA, titanium	44mm - 70mm	Changed Product Name, Description, Product

Sub-Group.

OH287	JRI CSF Cup insert 	UHMWPE unmodified 	28mm, 32mm, 36mm	Changed Product Name, Description.

OH288	JRI CSF Cup Ceramic Insert	Ceramic Inserts, Alumina oxide, Biolox Forte	28mm	Changed Product Name, Description.

OH289	JRI CSF Hip System	CSF Bone Screws, Titanium Alloy	15mm - 50mm	Changed Product Name, Product Sub-Group.

OH290	JRI Cemented Cup	UHMWPE Cup unmodified Cemented	28mm and 32mm	Changed Product Name, Description.

OH291	JRI Reconstruction Ring 	Acetabular reconstruction cage 	44mm, 47mm, 50mm, 54mm	Changed Product Name, Description.

OH292	JRI Ceramic femoral Head 	Total Hip Replacement (THR) Ceramic Femoral 	12 / 14 Taper, Biolox Delta Ceramic head sizes 28mm,	Changed Product Name.

Heads, Biolox Delta Ceramic, and Alumina Oxide	 32mm. Alumina Oxide head sizes 28mm

OH293	JRI Femoral Head	Cobalt Chrome Femoral; Heads	28mm, and 32mm head sizes	Changed Product Name, Description.

OH294	JRI Total Hip System	Ceramic femoral head with sleeve 	28, 32, 36mm	Changed Description, Suffix.

OH295	JRI CSF Plus Cup	Titanium, plasma, HA for ceramic insert	44mm - 70mm O/D	Changed Product Name, Description.

OH296	JRI CSF Plus Cup	Titanium, plasma, HA for modified poly insert	44mm - 70mm O/D	Changed Product Name, Description.

OH297	JRI CSF Plus Cup ceramic Insert	CSF Plus Cup Liner, Delta Liner 	28mm, 32mm, 36mm	Changed Product Name, Description.

OH298	JRI CSF Plus Cup Insert 	UHMWPE modified 	10 degree liners 28mm, 32mm, 36mm	Changed Product Name, Description.

Pacing Importers Pty Ltd - Life Systems

Cardio-thoracic

PI001	Excimer Laser Stent	Polyester Fibre optic catheter	2.5 and 2.2mm	Changed Product Group, Product Sub-Group.

PI002	Excimer Laser Stent	Polyester Fibre optic fibre catheter	0.457mm, 0.9mm, 1.4mm, 1.7mm and 2.0mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 136 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Pharmacia Australia Pty Ltd (Pfizer Australia Pty Ltd)

General/Miscellaneous

PU056	Gelfoam Sterile Sponge	Sterile, pliable, nonantigenic surgical sponge prepared 	Size 12 - 20mm x 60mm x 7mm, packet of 4; Size 100 	Changed Product Group, Suffix.

from specially treated purified gelatin solution	- 80mm x 125mm x 10mm in individual packet	Amended benefit with $31.62 gap.

Portland Orthopaedics (Aust) Pty Ltd

Orthopaedic

PD005	Margron DTC Hip Replacement	Femoral Modular Neck	Y, Z, AZ, A, B, C, BA, CA, CB, B+4, C+6, CB+6; 	Compressed from PD005, PD012.

31mm to 52mm lateral offset; 23mm to 35mm

vertical height

PD016	Equator Plus Acetabular Cup System	3-Hole, plasma sprayed shell	44mm to 76mm	Changed Product Name, Size.

PD017	Equator Plus Acetabular Cup System	Multi-hole plasma sprayed shell	44mm to 76mm	Changed Product Name, Description, Size.

PD018	Equator Plus Acetabular Cup System	UHMWPE encased in CoCr surround	28mm to 36mm internal diameter, standard and hooded	Changed Product Name, Size.

PD019	Equator Plus Acetabular Cup System	Ceramic surrounded in CoCr taper ring	28mm to 36mm internal diameter	Changed Product Name, Size.

PD020	Equator Plus Acetabular Cup System	Bone Screw	6.5mm diameter, 15mm to 50mm lengths	Changed Product Name, Size.

PD021	M-COR Hip Stem System	Plasma sprayed, HA coated, Ti, standard and short 	29x9 to 41x17; 9mm to 17mm diameter; 140mm to 	Changed Product Name, Size.

length distal flutes	165mm length

PD022	M-COR Hip Stem System	Titanium Complex Neck	31mm to 47mm lateral offset, 23mm to 33mm 	Changed Product Name, Description, Size.

vertical height, 3 lengths

PD023	M-COR Hip Stem System	M-CS Cemented Femoral Stem, CoCr	Size 1 - Size 8	Changed Product Name.

Promedica Pty Ltd

General/Miscellaneous

PO001	Corflo Cubby LPGD Kit	Low profile gastronomy device	12 - 24fg x 1.0 - 4.5cm	Changed Product Group, Product Sub-Group.

Amended benefit.

PO002	Corflo Gastronomy Replacement Device	Dual and triple gastronomy tubes	Dual 12 - 24fg 5 - 20cc balloon; Triple 16 - 24fg 20cc 	Changed Product Group, Product Sub-Group.

balloon	Amended benefit.

PO003	Corflo Max 20fg PEG Kit Complete with 7fg Snare - 	Sterile enteral feeding tube with  accessories	20fg	Changed Product Group, Product Sub-Group.

"Pull Type"	Amended benefit.

PO004	Corflo Max 20fg PEG Kit "Pull Type"	Sterile enteral feeding tube with  accessories	20fg	Changed Product Group, Product Sub-Group.

Amended benefit.

Pyramed (Australia) Limited

General/Miscellaneous

PY002	Optimed Biliary Sinus Stent	Nickel Titanium Alloy	4 - 12 x 30 - 100mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

PY003	Sinus-Flex Vascular-Biliary Stent	Nickel Titanium Alloy	4 - 12 x 40 - 80mm	Changed Product Group.

Amended benefit.

PY004	Sinus-Endoflex-Biliary Sinus Stent	Nickel Titanium Alloy	40 x 7, 8, 9, 10mm; 60 x 7, 8, 9, 10mm; 80 x 7, 8, 9, 	Changed Product Group, Product Sub-Group.

10mm	Amended benefit.

Changed Items for Prostheses List Report	Page 137 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

PY007	Sinus-Esophageal Stent	Self expanding stent made of nickel - titanium alloy	Diameter 24-18-24mm, length 50,70,90,120mm; 	Changed Product Group, Product Sub-Group.

Diameter 26-20-26, length 50,70,90,120mm	Amended benefit.

Roche Diagnostics Australia Pty Ltd

General/Miscellaneous

RO001	"Disetronic Insulin Infusion Pump System"	D-Tron plus	Large Kit Blue or Anthracite	Changed Product Group, Product Sub-Group.

Amended benefit.

RO002	"Disetronic Insulin Infusion Pump System"	H-Tron plus	Large Kit Blue or Grey	Changed Product Group, Product Sub-Group.

Amended benefit.

RO003	Disetronic Administration Sets and Accessories	Adaptor D-Tron plus	10/box	Changed Product Group, Product Sub-Group.

Amended benefit.

RO005	Disetronic Administration Sets and Accessories	Adaptor H-Tron  plus	Grey/Blue each	Changed Product Group, Product Sub-Group.

Amended benefit.

RO006	Disetronic Administration Sets and Accessories	Plastic Cartridge (H-Tron)	3.15mL 25/box	Changed Product Group, Product Sub-Group.

Amended benefit.

RO007	Disetronic Administration Sets	Plastic Cartridge (D-Tron plus)	3.0mL 5/box	Changed Product Group, Product Sub-Group.

Amended benefit.

RO008	"Disetronic Insulin Infusion Pump System"	H-Tron plus	Small Kit Blue or Grey	Changed Product Group, Product Sub-Group.

Amended benefit with $1,400.00 gap.

RO009	"Disetronic Insulin Infusion Pump System"	D-Tron plus	Small Kit Blue or Grey	Changed Product Group, Product Sub-Group.

Amended benefit.

RO012	"Disetronic Infusion Sets"	Tender I 17/60	Pack 10	Changed Product Group, Product Sub-Group.

Amended benefit with $6.58 gap.

RO020	Accu-chek Spirit Insulin Pump	Insulin infusion pump	One size only	Changed Product Group, Product Sub-Group.

Amended benefit with $1,000.00 gap.

Scient'x Australia

Neurosurgical

SX005	Isobar TTL	Clamp	Snap-on, Short, Long and Monobloc	Changed Suffix.

SX007	Antelys	Cage	H: 9-15mm	Changed Suffix.

SX010	PCB Plate-Cage	Titanium cervical plate-cage	L: 14-16mm, W: 12-15mm, Cage Height: 4.5-8mm, 	Changed Suffix.

Plate Height: 23-29mm

SX012	Stella	Screw	D: 4-4.5mm, L: 12-20mm	Changed Product Sub-Group, Suffix.

SX013	CC-CO Cages	PEEK Polymer	L: 23.5mm, W: 10-13.5mm, H: 8-14mm	Changed Suffix.

SX014	CBK Cage	PEEK	L: 15mm, W: 13mm, H: 4.5-9mm	Changed Suffix.

SX015	Easys	Connector Bar - titanium	L: 40-100mm	Changed Product Group, Product Sub-Group,

Suffix.

SX016	Easys	Straddler - titanium alloy	one size	Changed Product Group, Product Sub-Group,

Suffix.

SX020	TTC-screw	Polyaxial screws	Changed Product Group, Product Sub-Group.

Sherwood Davis & Geck

Changed Items for Prostheses List Report	Page 138 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

General/Miscellaneous

SG001	Gastrostomy Tube	EntriStar Single Pass PEG	16fg, 20fg	Changed Product Group, Product Sub-Group.

Amended benefit.

SG002	Dexon Mesh Danbury 7979-00	Beige polyglycolic acid absorbable surgical mesh 	18 x 23cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Sirtex Medical Limited

General/Miscellaneous

SE001	SIR-Spheres including Delivery Apparatus	Biocompatible microspheres 20-60mm (microns) in 	One size only	Changed Product Group.

diameter containing yttrium-90. Delivery apparatus is 	Amended benefit.

PVC tubing, ABS stopcocks, acrylic holders and

stainless steel needles with PE hubs

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SN001	TC 100 Quarter Tubular plates (2.7mm cortex screws)	Sterile	23 - 63mm	Changed Product Group, Product Sub-Group.

SN002	TC 100 3.5mm Cortical Screws	Hex, Cruciate or Self Tapping	45 - 85mm	Changed Product Group, Product Sub-Group.

SN003	Image Hip Stem	Titanium, beaded, HA	Sizes 9 - 18	Changed Product Name, Description.

SN004	Bioabsorbable screw	BioRCI-HA Screw, Medial, Portal, Reverse thread, 	7 x 20mm - 12 x 35mm	Changed Product Group, Product Sub-Group,

Tibial specific, Trans-tibial	Suffix.

SN006	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	Straight 3-6 holes, T-Plates 3-4 holes	Changed Product Group, Product Sub-Group.

SN007	TC 100 3.5mm Cortical Screws	Sterile, Hex or Cruciate	10 - 40mm	Changed Product Group, Product Sub-Group.

SN008	Rotorloc Absorbable PLA Suture Anchor System	-	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN010	Basis Femoral Component	Hip stem, Cobalt Chromium Grit Blast	Length 115 - 135mm	Changed Description.

SN011	TC 100 3.5mm Small Fragment (Compression) plates	Sterile, 14 - 26 hole	169 - 265mm	Changed Product Group, Product Sub-Group.

SN012	TC 100 3.5mm One Third Tubular plates	Sterile, 2 - 8 holes	25 - 97mm	Changed Product Group, Product Sub-Group.

SN013	TC 100 3.5mm Curved Reconstruction plates	Sterile, 6 - 8 holes	70 - 94mm	Changed Product Group, Product Sub-Group,

Suffix.

SN014	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	14 - 60mm	Changed Product Group, Product Sub-Group.

SN018	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	100 - 145mm	Changed Product Group, Product Sub-Group.

SN022	Osteotomy Plates	Blade, Adult osteotomy 4 hole	40 - 80mm	Changed Product Group, Product Sub-Group,

Suffix.

SN031	Original Ilazarov System	External circular fixation system, stainless steel and 	Adult and Paediatric	Changed Product Group, Product Sub-Group,

composite carbon fibre	Suffix.

SN032	Compass Universal Hinge	Circular external hinged fixator, graphite composite	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN044	TC 100 3.5mm Small Fragment (Compression) Plates	Sterile, 2 - 7 holes	25mm - 85mm	Changed Product Group, Product Sub-Group,

Suffix.

SN061	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	62 - 95mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 139 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN062	TC 100	Narrow Compression Plate	4.5mm, 5 - 7 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN063	TC 100 2.7mm Small Fragment (Compression) plates	2 - 12 holes	20 - 100mm	Changed Product Group, Product Sub-Group,

Suffix.

SN065	TC 100 4.5mm T-Buttress plates	Sterile, 4 - 6 holes	80 - 112mm	Changed Product Group, Product Sub-Group,

Suffix.

SN068	TC 100	Plate: Condylar	1.5mm, 2.0mm &2.7mm	Changed Product Group, Product Sub-Group,

Suffix.

SN069	TC 100 3.5mm Reconstruction plates	Sterile, Straight 9 - 11 holes	106 - 130mm	Changed Product Group, Product Sub-Group,

Suffix.

SN071	TC 100 4.5mm Narrow Compression plates	Sterile, 2 - 4 holes	39 - 71mm	Changed Product Group, Product Sub-Group,

Suffix.

SN073	TC 100	L - Plates & T - Plates	2.0mm & 2.7mm	Changed Product Group, Product Sub-Group,

Suffix.

SN074	TC 100 Bone Plates with provisional fixation holes	3.5mm Small Compression Plate	7 - 8 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN075	TC 100	Plate: Reconstruction	3.5mm & 4.5mm, 10 - 15 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN076	TC 100	Plate: Curved Reconstruction	3.5mm, 10 -18 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN078	TC 100 4.5mm Broad Compression plates	Sterile, 20 - 26 holes	326 - 423mm	Changed Product Group, Product Sub-Group,

Suffix.

SN080	TC 100 4.5mm T-plate	Sterile, 5 - 8 holes	100 - 148mm	Changed Product Group, Product Sub-Group,

Suffix.

SN081	TC 100 2.0mm H-plates	Sterile	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN082	TC 100 2.7mm Cortical Screws	Hex, Cruciate or Self-tapping	6 - 55mm	Changed Product Group, Product Sub-Group.

SN083	TC 100 2.0mm T-plates	Sterile, 9 hole shaft	3 - 4 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN087	TC 100 Semi Tubular plates	8 - 12 holes	135 - 199mm	Changed Product Group, Product Sub-Group,

Suffix.

SN088	TC 100	Semi Tubular plates	2 - 7 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN091	TC 100 Bone Plates with provisional fixation holes	Lateral Tibial Head Buttress 7 - 9 hole	149 - 181mm	Changed Product Group, Product Sub-Group,

Suffix.

SN092	TC 100 Bone Plates with provisional fixation holes	4.5mm Narrow Compression	11 - 12 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN093	TC 100 Bone Plates with provisional fixation holes	4.5mm Narrow Compression	8 - 10 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN095	TC 100	Semi-Tubular  Plate with provisional fixation holes	4 - 7 holes	Changed Product Group, Product Sub-Group.

SN097	TC 100 Bone Plates with provisional fixation holes	4.5mm Broad Compression	12 - 14 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN098	TC 100 4.5mm Reconstruction plates	Sterile, 14 - 16 holes	221 - 253mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 140 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN101	TC 100 Bone Plates with provisional fixation holes	L-Buttress, Left and right angled	One size each	Changed Product Group, Product Sub-Group,

Suffix.

SN102	TC 100	Plate: T - plate with provisional fixation holes	50 - 148mm	Changed Product Group, Product Sub-Group,

Suffix.

SN103	TC 100 Bone Plates with provisional fixation holes	T-Plate Right angled	50 - 67mm	Changed Product Group, Product Sub-Group,

Suffix.

SN104	TC 100	1/3 Tubular Plate with Collar	3 - 10 Hole	Changed Product Group, Product Sub-Group,

Suffix.

SN106	TC 100 Bone Plates with provisional fixation holes	3.5mm Small Compression Plate	9 - 10 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN107	TC 100 4.5mm Condylar Buttress plates	Sterile,  right, 11 - 15 hole	221 - 285mm	Changed Product Group, Product Sub-Group,

Suffix.

SN108	TC 100	Plate: Broad Compression	4.5mm, 3 - 10 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN109	TC 100 3.5mm Reconstruction plates	Sterile, Straight 4 - 8 holes	46 - 94mm	Changed Product Group, Product Sub-Group,

Suffix.

SN112	TC 100 2.0mm Cortical Screws	Self Tapping, Hex or cruciate	6 - 38mm	Changed Product Group, Product Sub-Group.

SN116	TC 100 2.7mm T-plates	Sterile	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN118	TC 100 3.5mm Small Fragment (Compression) plates	Sterile, 8 - 12 hole	97 - 145mm	Changed Product Group, Product Sub-Group,

Suffix.

SN119	TC 100 4.5mm T-plate	Sterile, 3 - 4 holes	68 - 84mm	Changed Product Group, Product Sub-Group,

Suffix.

SN121	TC 100 Bone Plates with provisional fixation holes	3.5mm Small Compression Plate	5 - 6 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN126	TC 100 4.5mm Condylar Buttress plates	Sterile, Left and right,  7 - 9 hole	158 - 190mm	Changed Product Group, Product Sub-Group,

Suffix.

SN129	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	H-Plates 4 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN130	TC 100 3.5mm One Third Tubular plates	Sterile, 9 - 12 holes	109 - 145mm	Changed Product Group, Product Sub-Group,

Suffix.

SN131	TC 100 4.5mm Narrow Compression plates	Sterile, 14 - 24 holes	231 - 390mm	Changed Product Group, Product Sub-Group,

Suffix.

SN132	TC 100 4.5mm Narrow Compression plates	Sterile, 11 - 13 holes	183 - 215mm	Changed Product Group, Product Sub-Group,

Suffix.

SN133	TC 100 4.5mm Narrow Compression plates	Sterile, 8 - 10 holes	135 - 167mm	Changed Product Group, Product Sub-Group,

Suffix.

SN134	TC 100 3.5mm Reconstruction plates	Sterile, Straight 16 - 22 holes	190 - 263mm	Changed Product Group, Product Sub-Group,

Suffix.

SN135	TC 100 95 Degree Condylar Plates	Small stature	Shaft length 92 - 299 mm, blade length 50 - 80mm	Changed Product Group, Product Sub-Group,

Suffix.

SN136	TC 100 Small T-Plates	Sterile, right angled and oblique	3 - 4 holes in head, 3 - 6 holes in shaft	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 141 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN137	TC 100	Plate: Broad Compression	4.5mm, 6 - 8 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN138	Neer 3 Total Shoulder System	Humeral stems	Head size 15 - 16, stem diam 8 - 12mm	Changed Product Group, Product Sub-Group,

Suffix.

SN141	T-Bar Suture Retention System	Fastfix	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN143	TC 100 4.5mm Reconstruction plates	3 - 9 holes	45 - 141mm	Changed Product Group, Product Sub-Group,

Suffix.

SN146	Taylor Spatial Frame	Pre-assembled circular external fixator, carbon-fibre 	One size only	Changed Product Group, Product Sub-Group.

rings, telescopic rods

SN256	Axis 	Ceramic Femoral Head AlO3 12/14Taper, biolox forte	=< 32mm	Changed Description.

SN263	Buck	Cement Restrictor 	18.5 - 35mm	Changed Product Group, Product Sub-Group,

Suffix.

SN264	Buck	IM Prep Kit	One size only	Changed Product Group, Product Sub-Group.

SN265	Contour	Acetabular  Reinforcement cage	44 - 74mm OD	Changed Description, Product Sub-Group.

SN271	Echelon	Cobal Chrome, beaded, HA, long with Calcar	Left/Right, 15 and 30mm,  Sizes 11-22	Changed Description.

SN282	Opera	Acetabular Cup Flanged unmodified UHMWPE	22 - 28mm; 40 - 53mm	Changed Description, Product Sub-Group.

SN284	Screws	Cancellous	15mm - 50mm	Changed Product Group, Product Sub-Group.

SN285	Reflection	Acetabular Cup, Beaded Titanium Alloy	42 - 80mm	Changed Description.

SN286	Reflection	Acetabular Cup HA Coated Titanium Alloy, beaded	42 - 80mm	Changed Description.

SN288	Reflection	Acetabular Cup Unmodified UHMWPE	22 - 36mm, 42 - 76mm	Changed Description.

SN289	Reflection	Acetabular Liner, unmodified UHMPE	22 - 36mm, 42 - 76mm	Changed Description.

SN291	Reflection	Acetabular Liner XLPE modified UHMPE	22 - 36mm, 42 - 76mm	Changed Description.

SN297	Reflection 	Acetabular Liner Ceramic, AlO3 biolox forte	28 - 36mm, 46 - 66mm OD	Changed Description.

SN301	Spectron and Synergy	Femoral Stem Non Porous Offset	1- 20	Changed Product Name.

SN303	Synergy	Femoral Stem HA Coated beaded Titanium Alloy, Std 	9 - 18	Changed Description.

and High offset

SN305	Synergy	Femoral stem Beaded Titanium Alloy, Std and High 	9-20	Changed Product Name, Description.

Offset

SN307	Unipolar	Taper Sleeve Co Cr	12/14 and 14/16 tapers, +0,-3,+4,+8,+12mm.	Changed Product Sub-Group.

SN310	Genesis II Knee System Tibial Insert	Tibial Insert, Fixed, UHMWPE, (deep dished)	1-8. 9 - 21mm	Changed Product Name, Description.

Amended benefit.

SN314	Genesis II Knee System Femoral Conversion Module	Femoral Conversion Module, for Genesis II CR or PS 	Left/Right size 1-8	Changed Product Name, Description.

femoral component, includes screws for fixation	Amended benefit.

SN316	Genesis II Knee System Tibial and Femoral Stems	Tibial and Femoral Stems, titanium, cemented or press	10-24x100mm, 10-20 x 150mm 10-16x 200mm	Changed Product Name, Description.

fit 	Amended benefit.

SN320	Genesis II Knee System Tibial Insert	Tibial Insert for mobile insert, UHMWPE	Left & Right, Size 1-8, 9-15mm 	Changed Product Name, Description.

Amended benefit.

SN321	Genesis II Knee System Femoral Component	Femoral Component, cemented, CoCr	Left/Right Size 1-8	Changed Product Name, Description.

Amended benefit.

Changed Items for Prostheses List Report	Page 142 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN323	Genesis II Patella Component	Patella Component, Inlay, cemented, UHMWPE, can 	23-35mm 	Changed Product Name, Description.

be used for multiple systems (Genesis II, Journey PFJ,	Amended benefit.

Journey Deuce, Legion)

SN326	'Genesis II Knee System Femoral Component	Femoral Component, CoCr, uncemented, beaded	Left/Right Size 1-8	Changed Product Name, Description.

Amended benefit.

SN330	Genesis II Knee System Tibial and Femoral Augments	Tibial Augments, half blocks and half wedges, (CoCr) 	1-8	Changed Product Name, Description.

and Femoral Augments, distal and posterior or distal 	Amended benefit.

and posterior combined

SN334	Genesis Uni Tibial Insert	Uni Tibial Insert, UHMWPE, fixed	x-Small-Magnum 8mm-12mm	Changed Product Name, Description.

Amended benefit.

SN335	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, uncemented, CoCr, beaded, HA 	Left & Right, X Small- Magnum Plus	Changed Product Name, Description.

for fixed insert	Amended benefit.

SN336	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, cemented, CoCr for fixed insert	XSmall-Magnum	Changed Product Name, Description.

Amended benefit.

SN337	Genesis Uni Tibial Baseplate	Uni Tibial baseplate, all poly, cemented	Left & Right, X Small- Magnum Plus,  8mm-15mm	Changed Product Name, Description.

Amended benefit.

SN338	Genesis Uni Femoral Component	Uni Femoral component, CoCr, cemented	X-Small - Magnum Plus	Changed Product Name, Description.

Amended benefit.

SN340	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, totally stabilised with 	Left/Right Small- XLarge 10mm - 25mm	Changed Product Name, Description.

peg	Amended benefit.

SN348	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed 	Left & Right XS-Magnum 8MM-15MM	Changed Product Name, Description.

Amended benefit.

SN349	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, posterior stabilised 	Right/Left S-XL 8mm-25mm	Changed Product Name, Description.

with peg	Amended benefit.

SN350	Genesis Knee System Patella Component	Patella Component, cemented, all poly, UHMWPE	X-Small - Large	Changed Product Name, Description.

Amended benefit.

SN353	Genesis Knee System Tibial Insert	Tibial Insert, UHMWPE, fixed, totally stabilised with 	Left/Right Constrained Small - Xlarge, Crutiate 	Changed Product Name, Description.

peg, to be used with Genesis I baseplate and Tricon 	retaining Size 1-8, Post Stabilising Size 1-8, 	Amended benefit.

Femoral Component	Tricon/Genisis Small-Xlarge

SN354	Genesis Knee System Tibial Baseplate	Tibial Baseplate, cemented, titanium	Left/Right Small- Magnum 8mm-15mm	Changed Product Name, Description.

Amended benefit.

SN356	Genesis Knee System Tibial Baseplate	Tibial Baseplate, uncemented, CoCr, beaded, for fixed 	Left/Right Small - Magnum	Changed Product Name, Description.

insert	Amended benefit.

SN359	Invis	Distal Centraliser PMMA	7 - 21mm	Changed Product Group, Product Sub-Group.

SN367	Mobile Bearing Knee System Insert Locking Screw	Insert Locking Screw, used to lock AP translation of 	One size only	Changed Product Name, Description.

Mobile insert	Amended benefit.

SN368	'Mobile Bearing Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded, CoCr, polished 	Left & Right Size 1-8	Changed Product Name, Description, Suffix.

insert surface, for mobile insert, 	Amended benefit.

SN369	Mobile Bearing Knee System Tibial Baseplate	Tibial baseplate, cemented, CoCr, polished insert 	Left & Right, Size 1-8	Changed Product Name, Description.

surface, for mobile insert, 	Amended benefit.

SN370	Mobile Bearing Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded, HA, CoCr, 	Left & Right, Size 1-8	Changed Product Name, Description.

polished insert surface, for mobile insert, 	Amended benefit.

SN371	MOD III Patella Femoral Knee System Trochlear 	Trochlear Component, CoCr, cemented, 	Small & Large	Changed Product Name, Description.

Component	Amended benefit.

Changed Items for Prostheses List Report	Page 143 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN375	Profix Knee System Femoral Component	Femoral Component, CoCr, uncemented, beaded	Left/Right Size 1-8	Changed Product Name, Description.

Amended benefit.

SN376	Profix Knee System Femoral and Tibial Stems	Femoral and Tibial stems, Titanium, Cemented or 	10-20mm x 100mm. 10-20x150mm 10-20 x 200mm	Changed Product Name, Description.

press fit,	Amended benefit.

SN378	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile, anterior lip 	Size 1-8 10-16mm	Changed Product Name, Description.

(Conforming Plus)	Amended benefit.

SN379	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile	Size 1-8 10-16mm	Changed Product Name, Description.

Amended benefit.

SN381	Profix Knee System Tibial and Femoral Augment	Tibial Augments, Half wedges and half blocks, 	1-7. Small - Large 	Changed Product Name, Description.

uncemented beaded includes screws for fixation, 	Amended benefit.

Titanium.  Femoral Augments, Posterior, Distal and

Posterior and distal combined, uncemented beaded,

includes screws for fixation, Titanium

SN382	Profix Knee System Patella Component	Patella Component, UHMWPE, Inset and Onlay, 	23-35mm	Changed Product Name, Description.

cemented	Amended benefit.

SN383	Profix Knee System Femoral Component	Femoral Component, CoCr, uncemented, beaded, 	Right/Left Size 1-7	Changed Product Name, Description, Suffix.

totally constrained	Amended benefit.

SN384	Profix Knee System Tibial and Femoral Augment	Tibial Augments, Half wedges and half blocks, cement	1-7	Changed Product Name, Description.

fixation, Titanium.  Femoral Augments, Posterior, 	Amended benefit.

Distal and Posterior and distal combined, includes

screws for fixation, Titanium

SN393	Profix Knee System Tibial Screws	Tibial Screws, Titanium for fixation of baseplate to 	15-50mm	Changed Product Name, Description.

bone (optional)	Amended benefit.

SN394	Mod III Patella Femoral Component	Patella Component, UHMWPE, Onlay, cemented, for 	Mini-Large	Changed Product Name, Description, Product

Mod III	Group, Product Sub-Group.

Amended benefit.

SN395	Cofield	Humeral stem component	Standard & Long, small- large	Changed Product Group, Product Sub-Group,

Suffix.

SN396	Cofield	Screw	Long, Short, Standard	Changed Product Group, Product Sub-Group.

SN397	Cofield 	Glenoid All Polyethylene component	Small, Standard	Changed Product Group, Product Sub-Group.

SN398	Cofield 	Glenoid Component Metal backed	Standard Base. Base Insert.  Glenoid Comp Sm, Stan, 	Changed Product Group, Product Sub-Group.

St W/off

SN399	Cofield 	Glenoid Insert	Small, Standard	Changed Product Group, Product Sub-Group.

SN400	Modular Cofield	+ 2 insert	Small, Standard, Standard with offset	Changed Product Group, Product Sub-Group.

SN401	Modular Cofield	All Poly + 2 insert	Small, Standard, Standard with offset	Changed Product Group, Product Sub-Group.

SN403	Modular Cofield	Humeral Head	14x36mm - 36x58mm	Changed Product Group, Product Sub-Group,

Suffix.

SN404	Modular Cofield	Humeral Stem	6mmx115mm - 16mmx245mm	Changed Product Group, Product Sub-Group,

Suffix.

SN407	Modular Cofield	Posterior Lipped All poly Glenoid	Small - Large	Changed Product Group, Product Sub-Group.

SN409	Modular Cofield	Standard Articular Insert	Small, Standard	Changed Product Group, Product Sub-Group.

SN410	Neer	Neer II Humeral	22 x 6.3-9.5mm, 33 x 12.7mm, 15 x 6.3-12.7mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 144 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN411	Neer	Neer II Glenoid	Standard Glenoid  Resurf Glenoid XS Metal Back 	Changed Product Group, Product Sub-Group.

Glenoid XS

SN413	Shoulder Reconstruction	3.7mm TAG & Wedge Suture Wedge	3.7mm	Changed Product Group, Product Sub-Group.

SN414	Shoulder Reconstruction	Suretac Absorbable Staple	6-8 x 16mm	Changed Product Group, Product Sub-Group.

SN415	Shoulder Reconstruction	TAG Bioabsorbable Anchor Wedge	3.7mm	Changed Product Group, Product Sub-Group.

SN416	Shoulder Reconstruction 	Fastentor Suture Anchor	One size only	Changed Product Group, Product Sub-Group.

SN417	T-Bar Suture Retention System	T-Fix RCG 	1.8mm	Changed Product Group, Product Sub-Group.

SN418	T-Bar Suture Retention System	T-Fix Single & Double	T-Fix Suture Bar, Straight Needle, Double Suture	Changed Product Group, Product Sub-Group.

SN419	ACL/PCL Reconstruction	Aims Screws, Titanium	7-9mm diameter, 20 -25mm length	Changed Product Group, Product Sub-Group.

SN420	ACL/PCL Reconstruction	RCI Screws Titanium	7-11mm diameter, 25-40mm length	Changed Product Group, Product Sub-Group.

SN421	ACL/PCL Reconstructions	Absorbable PLLA Screw	7-12mm diameter, 25-35mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN422	ACL/PCL Reconstructions	Acufex Fixation Post	25 -55mm	Changed Product Group, Product Sub-Group.

SN423	ACL/PCL Reconstructions	Acufex Tibial Fixation Anchor	One size only	Changed Product Group, Product Sub-Group.

SN424	ACL/PCL Reconstructions	Acufex Spiked Washer	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN425	ACL/PCL Reconstructions	Cannuflex Silk & Soft Silk Interference Screw	5.5 x 20mm - 9x30mm	Changed Product Group, Product Sub-Group.

SN426	ACL/PCL Reconstructions	EndoButton	4 x 12mm, 4mm x 18mm	Changed Product Group, Product Sub-Group.

SN427	ACL/PCL Reconstructions	Fixation Button	12-17mm	Changed Product Group, Product Sub-Group,

Suffix.

SN428	ACL/PCL Reconstructions	EndoButton CL	20-50mm	Changed Product Group, Product Sub-Group.

SN429	ACL/PCL Reconstructions	EndoButton Tape	One size only	Changed Product Group, Product Sub-Group.

SN430	ACL/PCL Reconstructions	EndoFix Bioabsorbable Screw	7 x 20mm - 9mm x30mm	Changed Product Group, Product Sub-Group,

Suffix.

SN432	ACL/PCL Reconstructions	Tibial Post Screw	Small, Standard	Changed Product Group, Product Sub-Group,

Suffix.

SN434	Half Pin	Arrow	4-6mm x 20-80mm	Changed Product Group, Product Sub-Group.

SN435	Half Pins	Hex Fix Titanium	4-6mm x 20-80mm	Changed Product Group, Product Sub-Group.

SN436	Half Pins	Ilizarov Stainless Steel	4 x 120 -180mm 30mm 35mm - thread   50mm conic	Changed Product Group, Product Sub-Group.

SN437	Hex Fix Pins	Cancellous Crane Pin Threaded	5/8" - 1 1/4"	Changed Product Group, Product Sub-Group.

SN438	Hip Pin	Cannulated	30-135mm	Changed Product Group, Product Sub-Group,

Suffix.

SN439	Ilizarov	Jurgan Pin Balls	0.7-5.0mm	Changed Product Group, Product Sub-Group.

SN440	Ilizarov	Wires	300-370 length x 1-1.8mm diameter	Changed Product Group, Product Sub-Group.

SN441	Ilizarov	Wires with stopper	300-370 length x 1-1.8mm diameter	Changed Product Group, Product Sub-Group.

SN442	Mini TAG	Suture Anchor 2.0mm	2.0mm	Changed Product Group, Product Sub-Group.

SN443	Reis	Cable and Swage	1.6 & 2.0mm	Changed Product Group, Product Sub-Group.

SN445	Steinmann Pins	Skeletal Traction Pin-Cove Point	150-200mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 145 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN446	Steinmann Pins	Skeletal Traction Pin-Cove Point	250mm+	Changed Product Group, Product Sub-Group.

SN447	Steinmann Pins	Non Threaded, Various Tips	9"x5/64 - 9"x3/16	Changed Product Group, Product Sub-Group.

SN449	Washer	For Cannulated screw systems, Stainless Steel 	One size only	Changed Product Group, Product Sub-Group.

SN450	Washer	For Cannulated screw systems, Titanium	One size only	Changed Product Group, Product Sub-Group.

SN451	Wire	Kirschner	Various 1.3 - 304.8mm	Changed Product Group, Product Sub-Group.

SN459	Wire	Suture	18Ga - 28Ga	Changed Product Group, Product Sub-Group.

SN460	Wire	Cerclage	0.6mmx175mm - 0.8mmx200mm	Changed Product Group, Product Sub-Group.

SN463	Bone Staple	Fixation - Osteotomy	Fixation Staple 5mm- 14mm.  McConnel HTO PF 	Changed Product Group, Product Sub-Group.

15mm 0-S

SN464	Bone Staple	Fixation - Short Leg	Xsmall - large	Changed Product Group, Product Sub-Group.

SN465	Bone Staple	Fixation - Table	Small -Medium  13mm - 16mm. 	Changed Product Group, Product Sub-Group.

SN466	Bone Staple	Krackow HTO	12,14,16mm	Changed Product Group, Product Sub-Group.

SN467	Compressing Screw	For Intermedullary and compression Hip Screw 	19mm & 28.5mm	Changed Product Group, Product Sub-Group,

Suffix.

SN468	Compression Hip Screw System	Ambi Standard Barrel Plates	60mm -80mm, 2-3 slot	Changed Product Group, Product Sub-Group,

Suffix.

SN469	Compression Hip Screw System	Ambi Standard Barrel Plates	100mm -220mm, 4-10 slot	Changed Product Group, Product Sub-Group,

Suffix.

SN470	Compression Hip Screw System	Ambi Standard Barrel Plates	260mm+, 12-14 slot	Changed Product Group, Product Sub-Group,

Suffix.

SN471	Compression Hip Screw System	Ambi Short Barrel Plates	100mm, 4-5 slot	Changed Product Group, Product Sub-Group,

Suffix.

SN473	Compression Hip Screw System	Classic Standard Barrel Plates	60-140mm, 2-3 slot	Changed Product Group, Product Sub-Group,

Suffix.

SN475	Compression Hip Screw System	Classic Standard Barrel Plates	260mm+, 12-14 slot	Changed Product Group, Product Sub-Group,

Suffix.

SN476	Compression Hip Screw System	Classic Short Barrel Plates	100 - 120mm	Changed Product Group, Product Sub-Group,

Suffix.

SN478	Compression Hip Screw System	Classic Supracondylar Plate	90-95 6-12SL	Changed Product Group, Product Sub-Group,

Suffix.

SN479	Compression Hip Screw System	Hip Screw Clip (ambi only)	One size only	Changed Product Group, Product Sub-Group.

SN480	Compression Hip Screw System	Intermedullary Hip Screw (IMHS), Centering Sleeve, 	One size only	Changed Product Group, Product Sub-Group,

Stainless Steel	Suffix.

SN481	Compression Hip Screw System	Lag Screw	55 - 140mm	Changed Product Group, Product Sub-Group,

Suffix.

SN488	Intermediate Osteotomy System	Compressing	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN489	Intermediate Osteotomy System	Lag	35 mm - 85mm, 1 1/2" - 3-3/4"	Changed Product Group, Product Sub-Group,

Suffix.

SN490	Intermediate Osteotomy System	Plate (hip screw)	90-150Deg	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 146 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN492	Paediatric Osteotomy System	Lag Screw	22mm- 40mm	Changed Product Group, Product Sub-Group,

Suffix.

SN493	Paediatric Osteotomy System	Plate (hip screw)	With Prox slot 90D - 140D	Changed Product Group, Product Sub-Group,

Suffix.

SN495	Intermedullary Nailing System	Foresight Locking Screw	2.7mm Diameter 8-18mm Length	Changed Product Group, Product Sub-Group,

Suffix.

SN496	Intermedullary Nailing System	Foresight Nail	4-5mm Diameter 20-26cm Length	Changed Product Group, Product Sub-Group,

Suffix.

SN497	Intermedullary Nailing System	Knee Fussion Nail, Stainless Steel	11x 65-75 & 12 x 65-85cm	Changed Product Group, Product Sub-Group,

Suffix.

SN498	Intermedullary Nailing System	Nail Cap	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN499	Intermedullary Nailing System	Revision, Ankle Fusion Nail	11mmx15cm -13x21cm	Changed Product Group, Product Sub-Group,

Suffix.

SN502	Russel Taylor	Delta Reconstruction & Femoral Plus Nails, Stainless 	Left/Right 10-11 32-48mm.	Changed Product Group, Product Sub-Group,

Steel	Suffix.

SN503	Russel Taylor	Delta Tibial & Tibial Pro Nails, Stainless Steel	8 x 27-42mm  9 x 27-36mm. 10 x 32-48mm  11 x 32-	Changed Product Group, Product Sub-Group,

48mm.	Suffix.

SN504	Russel Taylor	Femoral Locking screw	F/fem nl 30-90mm. F/r-t nl 25-90mm.	Changed Product Group, Product Sub-Group,

Suffix.

SN505	Russel Taylor	Femoral/Tibial Interlocking Nails	11mmx28.5cm - 16mmx50cm	Changed Product Group, Product Sub-Group,

Suffix.

SN507	Russel Taylor	Humeral Nails	7-9 x 18-30cm	Changed Product Group, Product Sub-Group,

Suffix.

SN508	Russel Taylor	Intermedullary Hip Screw (IMHS) Set screw	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN509	Russel Taylor	Intermedullary Hip Screw Nail (IMHS) Stainless Steel	Standard 10-16mm 21 cm length, Long 10-12mm 	Changed Product Group, Product Sub-Group,

Diameter Right& Left 34-42cm Length	Suffix.

SN510	Russel Taylor	Intermedullary Supracondylar Nail, Stainless Steel	11mmx15cm -13mmx25cm.	Changed Product Group, Product Sub-Group,

Suffix.

SN511	Russel Taylor	Locking Screw	4.5mm Diameter 20-65mm	Changed Product Group, Product Sub-Group,

Suffix.

SN514	Russel Taylor	Proximal Set Screw (Recon)	Short & Long	Changed Product Group, Product Sub-Group,

Suffix.

SN515	Russel Taylor	Reconstruction Nails, Stainless Steel	12mmx32cm -15mmx50cm.	Changed Product Group, Product Sub-Group,

Suffix.

SN517	Russel Taylor	Washer	One size only	Changed Product Group, Product Sub-Group.

SN519	TriGen	Capture Reconstruction Screws Titanium	6.4mm diameter 65-125mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN520	TriGen	Captured Screws Titanium	4.5 & 5.0mm diameters, 20-110mm lengths 	Changed Product Group, Product Sub-Group,

Suffix.

SN521	TriGen 	Nail: TAN & FAN, titanium	10, 11.5 &13mm diameter	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 147 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN522	TriGen 	Knee Nail	8.8, 10, 11.5 & 13mm diameters, 26-50cm lengths	Changed Product Group, Product Sub-Group,

Suffix.

SN532	TC 100 Plate	2.0mm Straight Plate	3-20 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN540	TC 100 1.5mm Screw	Hex, Cruciate or Self-tapping	6-24mm	Changed Product Group, Product Sub-Group,

Suffix.

SN542	TC 100 Plate	Multifragment Plates	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SN543	TC 100 Plate	Pelvic Fragment Plates	3-18 hole, 45-190mm	Changed Product Group, Product Sub-Group.

SN557	TC 100 Plate	4.5mm Broad Compression Plate	14-18 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN569	TC 100 Plate	Calcaneal Plate Sterile	60mm,70mm & 9 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN570	TC 100 Plate	Cloverleaf Plate	3-4 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN571	TC 100 Plate	Cloverleaf Plate	5-6 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN572	TC 100 Plate	Cloverleaf Plate	7-8 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN573	TC 100 Plate	Cloverleaf Plate	9 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN574	TC 100 Plate	Cobra Head Plate	8-11 hole	Changed Product Group, Product Sub-Group.

SN577	TC 100 Plate	Hook Plate	123mm 4 hole	Changed Product Group, Product Sub-Group,

Suffix.

SN578	TC 100	Plate: Spoon &  L-Buttress	3 - 18 holes	Changed Product Group, Product Sub-Group,

Suffix.

SN581	TC 100 Plate	Lateral Tib Head Buttress Plate	3-7 hole Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

SN582	TC 100 Plate	Lateral Tib Head Buttress Plate	9-13 hole Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

SN593	TC 100 Screw	6.5mm Cancellous Screw	25 - 150mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN595	TC 100 Screw	6.5mm Cancellous Screw Fully Threaded	6.5mm Diameter, 115mm-150mm	Changed Product Group, Product Sub-Group,

Suffix.

SN602	TC 100 Screw	6.5mm Cancellous Screw Partially Threaded	6.5mm Diameter, 32mm thread, 130mm+ Length	Changed Product Group, Product Sub-Group,

Suffix.

SN606	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	10 - 20mm	Changed Product Group, Product Sub-Group,

Suffix.

SN607	TC 100	4mm Cancellous Screw	22 - 50mm	Changed Product Group, Product Sub-Group,

Suffix.

SN609	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	 55mm +	Changed Product Group, Product Sub-Group,

Suffix.

SN612	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	85mm +	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 148 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN621	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	10 - 40mm	Changed Product Group, Product Sub-Group,

Suffix.

SN625	TC 100 Screw	Malleolar Bone Screw, Sterile	25x12mm - 70x32mm	Changed Product Group, Product Sub-Group,

Suffix.

SN626	TC 100 Washers	Stainless Steel	7-13mm	Changed Product Group, Product Sub-Group.

SN627	TC 100 Washers	Titanium Non Sterile	4.5mm -13mm	Changed Product Group, Product Sub-Group,

Suffix.

SN628	TC 100 Washers	Titanium Sterile	4.5mm -13mm	Changed Product Group, Product Sub-Group,

Suffix.

SN629	Bone Screw	Full & Partial Thread , Self tapping, Stainless Steel	3.5mm Diameter, 1/2-4" length	Changed Product Group, Product Sub-Group,

Suffix.

SN631	Cannulated Hip Pins	Rush Nails, Round Bevil Point Hook Pins	20.3mm - 254mm	Changed Product Group, Product Sub-Group,

Suffix.

SN635	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 16&20mm Thread, 20-135mm	Changed Product Group, Product Sub-Group,

Suffix.

SN636	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 32mm thread, 45-130mm	Changed Product Group, Product Sub-Group,

Suffix.

SN637	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	5.5mm Diameter, 20-120mm	Changed Product Group, Product Sub-Group,

Suffix.

SN638	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	7.0mm Diameter, 30-150mm	Changed Product Group, Product Sub-Group,

Suffix.

SN639	Cannulated Screw	6.5mm  & 7.0mm screw Titanium	30 - 150mm Length	Changed Product Group, Product Sub-Group,

Suffix.

SN641	Cannulated Screw	5.5mm screw Titanium	5.5mm Diameter 8x20mm- 32x120mm	Changed Product Group, Product Sub-Group,

Suffix.

SN642	Cannulated Screw	4.0mm Screw Titanium	4.0mm Diameter 20-70mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN643	Cannulated Screw	8mm Cannulated screws	8mm Diameter 65-125mm	Changed Product Group, Product Sub-Group,

Suffix.

SN644	Cannulated Screw	6.4mm Cannulated screws	6.4mm diameter 65-125mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN651	OBL Anchor System	Preloaded Soft Tissue Anchor System Material: 	Anchor sizes - Titanium: 2.8, 3.5, 4.0 5.0, 6.5mm 	Changed Product Group, Product Sub-Group,

Titanium Alloy or Polyacetal Polymer. Comes with 	Anchor size - Polymer: 5.0mm	Suffix.

Insertion device and 2 Braided Polyester Sutures

SN652	OBL Anchor System 	Soft Tissue Anchor System Non-preloaded Material:  	4.0 and 6.5mm	Changed Product Group, Product Sub-Group.

Titanium Alloy

SN659	HTO Plates	Titanium	6 - 20mm	Changed Product Group, Product Sub-Group.

SN660	Profix Knee System Femoral Component	Femoral Component, CoCr, Cemented, totally 	Left & Right, 2-7	Changed Product Name, Description, Product

constrained	Sub-Group.

Amended benefit.

SN661	Compass PIP	Kit assembly includes 0.45 x 5" K Wires, 1 Small Pin 	Single sterile PIP Hinge Kit	Changed Product Group, Product Sub-Group,

Support Block, 1 Hexdriver, 1 Compass PIP (Packed 	Suffix.

Sterile)

Changed Items for Prostheses List Report	Page 149 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN664	Versabond Bone Cement	Methy Methacrylate Methyl Acrylate Copolymer, 	60g	Changed Product Group, Product Sub-Group.

Methylmethacrylate Homopolymer, Supplied as pack

of powder (copolymer) and 28.2ml liquid (monomer)

in an ampule

SN667	Versabond Bone Cement	Methyl Methacrylate Methyl Acrylate Copolymer, 	40g	Changed Product Group, Product Sub-Group.

Methylmethacrylate Homopolymer, Supplied as

Powder (copolymer) and liquid (monomer) in an

ampule

SN668	Standard Stems Humeral Components	Modular Shoulder System, Chromium Cobalt	6 - 16mm Diameter, 125 - 175mm Length	Changed Product Group, Product Sub-Group,

Suffix.

SN669	Standard Humeral Components	Modular Shoulder System Humeral Head, Chromium 	11.25 - 25mm Height, 40 - 49.5mm Diameter	Changed Product Group, Product Sub-Group,

Cobalt	Suffix.

SN675	HTO Screws	Titanium	4.5mm Diameter, 20 - 80mm Length	Changed Product Group, Product Sub-Group.

SN676	Genoid Components	Anatomic Glenoid Component, Ti-6A1-4V, 	Extra Small & Standard	Changed Product Group, Product Sub-Group.

SN678	Echelon with HA	Cobalt Chromium with Hyrdoxyapetite Coating, beaded	11-20	Changed Description.

SN687	Femoral Head	12/14, 14/16 Taper, Oxinium	22 - 32mm, -3 - +16mm	Changed Product Sub-Group.

SN689	Reflection	Constrained Acetabular Liner unmodified UHMWPE	22 - 32mm, 42 - 76mm	Changed Description.

SN693	Hip Component	Femoral or acetabular custom component	Size 0 - 20	Changed Description.

SN695	Opera	Acetabular Cup Flanged - XLPE modified polyethylene	22-36mm, 42-76mm	Changed Description.

SN699	Profix Knee System Tibial Insert	Tibial Insert, UHMWPE, Mobile, anterior lip 	1-8, 18-20mm	Changed Product Name, Description.

(Conforming Plus) Larger sized inserts	Amended benefit.

SN700	RCI Screw with Perforations	Tinanium interference screw	Dia 7 - 10mm, length 25 - 35mm	Changed Product Group, Product Sub-Group.

SN701	Reflection	Constrained acetabular liner - adaptor ring	42 - 76mm	Changed Product Group, Product Sub-Group.

SN703	Absorbable Suture Anchor	Preloaded PLLA Suture Anchor	2.9mm, 5.0mm & 6.5mm	Changed Product Group, Product Sub-Group,

Suffix.

SN708	Jet X Bar	External Fixation Bar with Cap	100mm to 600mm	Changed Product Group, Product Sub-Group,

Suffix.

SN709	Jet X Central	Modular Versitile Ankle Fixation Frame	99mm to 158mm	Changed Product Group, Product Sub-Group.

SN710	Genesis Uni Femoral Component	Uni Femoral component, Oxinium, cemented	X-Small - Magnum	Changed Product Name, Description.

Amended benefit.

SN713	Trigen	Stable-Lok Nut	One Size Only	Changed Product Group, Product Sub-Group.

SN714	TwinFix	Quick-T	2.8 - 6.5mm	Changed Product Group, Product Sub-Group.

SN715	Genesis II Knee System Femoral and Tibial Stems	Tibial and Femoral Stems, Titanium, cemented or 	18 - 24mm x 200mm	Changed Product Name, Description.

press fit (larger diameter range for 200mm length)	Amended benefit.

SN727	Genesis II Knee System Tibial Insert	Tibial Insert, Posterior Stabilised, UHMWPE, fixed, 	1-8, 9-25mm thickness	Changed Product Name, Description.

high flex with peg	Amended benefit.

SN730	Accord	Orthopaedic Cable System, Titanium Plate	150-250mm	Changed Product Group, Product Sub-Group.

SN731	Accord	Orthopaedic Cable System, Sm Cable Grip	75-255mm	Changed Product Group, Product Sub-Group.

SN732	Accord	Orthopaedic Cable System, SS Cable w/clamp	2.0mm	Changed Product Group, Product Sub-Group.

SN733	Accord	Orthopaedic Cable System, SS Button Plate Adapter	One Size Only	Changed Product Group, Product Sub-Group.

SN735	Accord	Orthopaedic Cable System, Std Cable Grip	85-265mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 150 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN736	Legion Knee System Femoral Component	Femoral Component, Oxinium, Cemented, totally 	Size 1 - 9	Changed Product Name, Description.

constrained	Amended benefit.

SN739	Trigen	Self Tapping Cortical Screw	20mm - 60mm	Changed Product Group, Product Sub-Group,

Suffix.

SN740	Trigen	Humeral Nail	7-11cm x 16-30cm	Changed Product Group, Product Sub-Group,

Suffix.

SN742	Birmingham Hip Resurfacing Prostheses - Acetabular 	Cobal Chrome, beaded, HA	44 - 66 mm cups	Changed Description.

Cup

SN743	Birmingham Hip Resurfacing Prostheses -  Femoral 	Cobal Chrome	38 - 58 mm heads	Changed Description.

Component

SN744	Birmingham Hip Resurfacing Dysplasia Cup	Cobal Chrome, beaded, HA with screw fixation	Dysplasia Cups:  46 - 66 mm cups	Changed Description.

SN745	Peri-Loc	3.5mm & 4.5mm Locking Plate, StainlessSteel	3 - 19 Holes	Changed Size, Product Group, Product Sub-

Group, Suffix.

SN749	Emperion Revision Hip	Polished non HA	Short & Long	Changed Description, Product Sub-Group.

SN751	Synergy	Shortened Synergy Stem, Titanium, beaded, HA	1-18	Changed Description.

SN758	IMHS CP	IMHS lag screw	55mm to 150mm	Changed Product Group, Product Sub-Group,

Suffix.

SN761	IMHS CP	Subtrochanteric lag screw	12.7mm x 70mm to 12.7mm x 140mm	Changed Product Group, Product Sub-Group,

Suffix.

SN762	IMHS CP	Captured locking screw	4.5mm x 22mm to 4.5mm x 64mm	Changed Product Group, Product Sub-Group,

Suffix.

SN763	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 16mm x 19.5cm left and right	Changed Product Group, Product Sub-Group,

Suffix.

SN764	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 14mm x 32 - 44cm left and right	Changed Product Group, Product Sub-Group.

SN765	Peri-Loc	2.7mm & 4.0mm Non Locking Screw	10 - 80mm	Changed Product Group, Product Sub-Group,

Suffix.

SN766	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless Steel,	3.5mm	Changed Product Group, Product Sub-Group.

Cortical & Cancellous Screw  Size: 3.5mm

SN768	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, 	4.5mm	Changed Product Group, Product Sub-Group,

Cortical & Cancellous Screw	Suffix.

SN769	Peri-Loc	Fixation device, internal, locking and non-locking, 	5.7mm	Changed Product Group, Product Sub-Group,

stainless steel, cortical and cancellous screw	Suffix.

SN770	Peri-Loc	Fixation device, internal, locking and non-locking, 	5 & 6.5mm	Changed Size, Product Group, Product Sub-

stainless steel, cortical and cancellous screw	Group.

SN772	Trigen	Hindfoot Fusion Nail, Titanium	10 - 11.5mm Diameter	Changed Product Group, Product Sub-Group,

Suffix.

SN774	IMHS CP	Captured Compression Screw, Stainless Steel	19mm	Changed Product Group, Product Sub-Group,

Suffix.

SN775	IMHS CP	Set Screw, Stainless Steel	Standard	Changed Product Group, Product Sub-Group.

SN777	GTS Sleeve	Polypropylene non-absorbable woven mesh	one size only	Changed Product Group, Product Sub-Group.

SN779	Journey Knee System Femoral Component	Femoral Component, cemented, Oxinium, posterior 	1-10	Changed Product Name, Description.

stabilised (bicruciate substitute)	Amended benefit.

Changed Items for Prostheses List Report	Page 151 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN780	Journey Knee System Tibial Insert	Tibial Insert, UHMWPE, Fixed posterior stabilised with	8-30mm, 1-10	Changed Product Name, Description.

peg	Amended benefit.

SN782	Peri-Loc	Plates, Stainless Steel, Non-Locking, Narrow, Lefts & 	4.5mm	Changed Product Group, Product Sub-Group,

Rights	Suffix.

SN783	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, Left & 	4.5mm. 6-16 hole	Changed Product Group, Product Sub-Group,

Rights	Suffix.

SN784	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, Left & 	4.5mm. 18-22 hole	Changed Product Group, Product Sub-Group,

Rights	Suffix.

SN790	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, 	3.5mm, 10mm - 85mm length	Changed Product Group, Product Sub-Group,

Cortical & Cancellous Screw	Suffix.

SN791	Peri-Loc	Fixation Device, Internal, Locking, Stainless Steel, 	3.5mm, 90mm - 110mm length	Changed Product Group, Product Sub-Group,

Cortical & Cancellous Screw	Suffix.

SN792	Peri-Loc	Fixation Device, Internal, Locking and Non-Locking, 	4.0mm, 80mm - 100mm length	Changed Product Group, Product Sub-Group,

Stainless Steel, Cortical & Cancellous Screw	Suffix.

SN793	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless Steel,	4.5mm, 10mm -110mm length	Changed Product Group, Product Sub-Group,

Cortical & Cancellous Screw	Suffix.

SN794	Peri-Loc	Fixation Device, Internal, Non-Locking, Stainless Steel,	4.5mm, 115mm -130mm length	Changed Product Group, Product Sub-Group,

Cortical & Cancellous Screw	Suffix.

SN795	Peri-Loc	Plates, Stainless Steel, Locking, Compression & 	3.5mm	Changed Product Group, Product Sub-Group,

Tubular, Lefts and Rights	Suffix.

SN796	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts and	 3.5mm, 4 - 12 holes	Changed Product Group, Product Sub-Group,

Rights	Suffix.

SN797	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts and	3.5mm, 14 - 18 holes	Changed Product Group, Product Sub-Group,

Rights	Suffix.

SN798	Peri-Loc	Plates, Stainless Steel, Locking, Compression, Lefts and	3.5mm, 20 - 22 holes	Changed Product Group, Product Sub-Group,

Rights	Suffix.

SN800	Peri-Loc	Plates, Stainless Steel, Non-Locking, Reconstruction, 	3.5mm, 4-10 holes	Changed Product Group, Product Sub-Group,

Lefts and Rights	Suffix.

SN801	Peri-Loc	Plates, Stainless Steel, Non-Locking, Reconstruction, 	3.5mm, 12-14 holes	Changed Product Group, Product Sub-Group,

Lefts and Rights	Suffix.

SN811	Reflection	Head Ceramic, AlO3, Biolox Forte	>32mm	Changed Description.

SN812	Femoral Head	12/14, 14/16 Taper, Oxinium	>32mm, -3 - +16mm	Changed Product Sub-Group.

SN814	Genesis II Knee System Femoral Component	Femoral Component, totally Constrained, CoCr, 	Left & Right size 1-8	Changed Product Name, Description, Product

Cemented	Sub-Group.

Amended benefit.

SN817	Emperion Revision Hip	Polished modular stem with option of calcar	+10, +20mm	Changed Description, Product Sub-Group.

SN818	Emperion Revision Hip	Long Stem polished Modular Titanium Calcar Build-	+10, +20mm	Changed Description, Product Sub-Group.

up,

SN819	Emperion Revision Hip	Proximal Modular Cone Standard, beaded HA coated 	0, 1, 2, 3, 4, standard and long	Changed Description, Size.

SN821	Legion Knee System Femoral Augement	Femoral Augment, posterior, distal and combined 	5-15mm	Changed Product Name, Description.

posterior and distal, Titanium, includes screws for 	Amended benefit.

fixation

Changed Items for Prostheses List Report	Page 152 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN822	Legion Knee System Tibial Augement	Tibial Augments, half blocks and half wedges, full 	5-15mm	Changed Product Name, Description.

blocks and full wedges, Titanium includes screws for 	Amended benefit.

fixation

SN823	Legion Knee System Femoral and Tibial Stems	Femoral and Tibial stems, Titanium, Cemented or 	120-220mm	Changed Product Name, Description.

press fit	Amended benefit.

SN824	Legion Knee System Tibial Baseplate	Tibial baseplate, cemented, Titanium, for fixed insert,	1-8	Changed Product Name, Description.

Amended benefit.

SN825	Birmingham Mid Head Resection Stem	Titanium, Beaded and HA 	1-19	Changed Product Name, Description.

SN826	Birmingham PC Hip Replacement	Plasma carbarised articular surface	30-70	Changed Description, Product Sub-Group.

SN827	Peri-Loc UE	2.7mm & 3.5mm  Volar Distal Radius Locking Plate	60mm - 132mm	Changed Product Group, Product Sub-Group,

Suffix.

SN829	Peri-Loc UE	2.7mm Locking Recon Plate 6-14 Holes	48mm - 113mm	Changed Product Group, Product Sub-Group,

Suffix.

SN830	Peri-Loc UE	2.7mm Locking Self Tapping Cortex Screw	10mm - 60mm	Changed Product Group, Product Sub-Group,

Suffix.

SN831	Peri-Loc UE	Locking plates SS: Distal Radius, Olecrannon, 	2.5-4.5mm, 3-14 holes	Changed Product Group, Product Sub-Group,

Humerus, Clavicle	Suffix.

SN832	Peri-Loc UE	Self Tapping Cortex Locking Screw	2.5-2.7mm, 10-60mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN833	Peri-Loc UE	Self Tapping Cortex Non Locking Screw	2.5mm, 10-30mm length	Changed Product Group, Product Sub-Group,

Suffix.

SN834	Journey Knee System Patella Femoral Replacement 	 Trochlear Component,cemented, Oxinium	Sm, Med Lg, XLg	Changed Product Name, Description, Product

Trochlear Component 	Sub-Group.

Amended benefit.

SN835	Journey Deuce Bicompartment Femoral Component 	Bicompartment Femoral Component, cemented, 	1-8	Changed Product Name, Description.

Oxinium 	Amended benefit.

SN836	Journey Knee System Tibial Uni Baseplate	Uni Tibial Baseplate,Titanium, cemented, for fixed 	1-8	Changed Product Name, Description.

insert	Amended benefit.

SN837	Journey Knee System Uni Tibial Insert	Uni Tibial Insert, for fixed bearing, UHMWPE	10-18mm	Changed Product Name, Description.

Amended benefit.

SN838	Trigen InterTAN Nail	Nail, Titanium	diameter 10-13mmlength 18-46cmAngle 125°-135°	Changed Size, Product Group, Product Sub-

Group, Suffix.

SN839	Trigen InterTAN Nail	Lag/Compression Screw, Titanium	30-120	Changed Product Group, Product Sub-Group,

Suffix.

SN841	Trigen META	Metaphyseal Nail, Titanium	8.5-13mm15x50cm	Changed Size, Product Group, Product Sub-

Group, Suffix.

SN843	Anthology Hip System	Titanium, Beaded and HA 	0-20	Changed Description.

SN846	KINSA	Suture Anchor, Polmer With Polyester Suture Material	2.9mm	Changed Product Group, Product Sub-Group.

SN847	Journey Knee System Femoral Component	Femoral Component, Cemented, CoCr, posterior 	Sizes 1-10, Left and Right	Changed Product Name, Description.

stabilised	Amended benefit.

SN848	Journey Knee System Tibial Baseplate	Tibial baseplate, cemented, Titanium, for fixed insert	Sizes 1-8, Left and Right	Changed Product Name, Description.

Amended benefit.

SN850	Birmingham Hip	Modular Resurfacing Head Sleeve	-8mm to +16mm	Changed Product Sub-Group.

Changed Items for Prostheses List Report	Page 153 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SN851	Legion Knee System Femoral Component	Femoral Component, CoCr, Cemented, totally 	Sizes 1-10, Left and Right	Changed Product Name, Description, Product

constrained	Sub-Group, Suffix.

Amended benefit.

Smiths Medical Australasia Pty Ltd

General/Miscellaneous

SI001	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	One size only	Changed Product Group, Product Sub-Group.

Trans Arterial Percuataneous System	Amended benefit.

SI003	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	1.9 mm O.D. PolyFlow Polyurethane Catheter	Changed Product Group, Product Sub-Group.

P.A.S Port T2 System	Amended benefit.

SI005	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	One size only	Changed Product Group, Product Sub-Group.

Peritoneal System	Amended benefit.

SI007	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.3 mm silicone catheter	Changed Product Group, Product Sub-Group.

Arterial Titanium System	Amended benefit.

SI008	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.8 mm silicone catheter & 9 French introducer set	Changed Product Group, Product Sub-Group.

Titanium Venous Portal	Amended benefit.

SI010	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	1.9mm polyurethane catheter	Changed Product Group, Product Sub-Group.

Implantable Access System - Venous Portal, with 	Amended benefit.

introducer set

SI012	Injection/Infusion Ports, Sterile - PORT-A-CATH Low	Port - single lumen	1.9 mm polyurethane catheter	Changed Product Group, Product Sub-Group.

Profile Implantable Venous System, with introducer 	Amended benefit.

SI014	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	2.8 mm silicone catheter	Changed Product Group, Product Sub-Group.

Titanium Venous System, with introducer set 	Amended benefit.

SI016	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.9 mm polyurethane catheter	Changed Product Group, Product Sub-Group.

Titanium Venous System with introducer set	Amended benefit.

SI017	Injection/Infusion Ports, Sterile - PORT-A-CATH 	Port - single lumen	2.6 mm polyurethane catheter	Changed Product Group, Product Sub-Group.

Titanium Venous System with introducer set	Amended benefit.

SI019	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.9 mm polyurethane catheter	Changed Product Group, Product Sub-Group.

Low Profile Titanium Venous System with introducer 	Amended benefit.

set

SI020	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	1.2 mm O.D. polyurethane catheter	Changed Product Group, Product Sub-Group.

Epidural Low Profile System	Amended benefit.

SI021	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - single lumen	0.9 mm O.D. polyurethane catheter	Changed Product Group, Product Sub-Group.

Intraspinal Low Profile System	Amended benefit.

SI023	Injection/Infusion Ports, Sterile - PORT-A-CATH II 	Port - dual lumen	3.4 mm silicone catheter	Changed Product Group, Product Sub-Group.

Dual Lumen Titanium Venous system and introducer 	Amended benefit.

set

SI024	Medication Cassettes (50ml & 100ml)	Pump	50 mL	Changed Product Group, Product Sub-Group.

Amended benefit.

SI025	Medication Cassettes (50ml & 100ml)	Pump	100 mL	Changed Product Group, Product Sub-Group.

Amended benefit.

SI026	CADD Administration Set 175cm TOTM tubing	For use with SI036	250 mL	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 154 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SI027	CADD Administration Sets, 198cm, with Bag Spike & 	Pump	198 cm	Changed Product Group, Product Sub-Group.

Add-on Anti-siphon Valve, TOTM Plasticized Tubing, 	Amended benefit.

Model No. 21-7057-24

SI028	Extention Set (30" & 60")	Pump	76 cm	Changed Product Group, Product Sub-Group.

Amended benefit.

SI029	Extension Set (30" & 60")	Pump	152 cm	Changed Product Group, Product Sub-Group.

Amended benefit.

SI034	CADD-PRIZM VIP (Variable Infusion Profile) Model	Pump	One size only	Changed Product Group, Product Sub-Group.

6100; CADD-PRIZM PCS Ambulatory Infusion 	Amended benefit.

Pump, Model 6100

SI036	Flexible Medication Reservoir, 250ml Model 21-6167-	Pump	250 mL	Changed Product Group, Product Sub-Group.

24	Amended benefit.

SI037	CADD Legacy 1 Model 6400 Ambulatory Infusion 	Pump	One size only	Changed Product Group, Product Sub-Group.

Pump	Amended benefit.

SI038	CADD Legacy Plus Model 6500 Ambulatory Infusion 	Pump	One size only	Changed Product Group, Product Sub-Group.

Pump	Amended benefit.

SI039	CADD Legacy PCA Model 6300 Ambulatory Infusion	Pump	One size only	Changed Product Group, Product Sub-Group.

Pump	Amended benefit.

SI040	Adminstration Set	Bag Spike, Integral Anti-Siphon Valve	196cm Bag Spike, Box of 12	Changed Product Group, Product Sub-Group.

Amended benefit.

SI041	Administration Set	High Volume, with 0.2 Micron Filter, Male Luer, Add 	Box of 15	Changed Product Group, Product Sub-Group.

On Anti Syphon Valve	Amended benefit.

SI042	Extension Set	Microbore TOTM with 0.22 Filter, M/M Luers, for 	152cm	Changed Product Group, Product Sub-Group.

Flolan	Amended benefit.

SI044	Administration Set	High Volume, TOTM- Plasticized Blue Striped with 1.2	305cm	Changed Product Group, Product Sub-Group.

Micron Filter, Male Luer, Add On Anti-Siphon Valve	Amended benefit.

Spectrum Surgical

Ophthalmic

SO006	FCI Orbital Implants	Orbital Implant, Bioceramic (Aluminium 	Bioceramic diameter, 12, 14, 16, 18, 20, 21, 22mm; 	Changed Product Group, Product Sub-Group,

Oxide)/Hydroxyapatite (Synthetic)	Synthetic Diameter, 10, 12, 14, 16, 18, 20, 22mm	Suffix.

SO007	FCI Orbital Implants	Mesh wrapped orbital implant: mesh wrapped 	Bioceramic diameter: 16, 18, 20, 22mm; Synthetic 	Changed Product Group, Product Sub-Group,

bioceramic (aluminium oxide), mesh wrapped 	Hydroxyapatite diameter: 16, 18, 20, 22mm	Suffix.

hydroxyapatite (synthetic), mesh wrap (polyglycolic

acid)

SO009	FCI Scleral Buckling Devices	Band/strip: solid silicone	Band - 2.0 x 0.75mm Type 40, 3.5 x 0.75mm Type 41,	Changed Product Group, Product Sub-Group.

4.0 x 1.25mm Type 42, 2.5 x 0.6mm Type 240, Morin

3.5 x 0.6mm

Strip - 5.7mm Type 20, 7.2mm Type 31, 9.2mm Type

32, 6mm Type 219, 7.5mm Type 220, 8mm Type

SO010	FCI Scleral Buckling Devices	Fixation Sleeve: Solid silicone	O.D: 1.65 to 2.41mm, Length 30mm	Changed Product Group, Product Sub-Group.

SO011	FCI Scleral Buckling Devices	Tire: Solid Silicone	Symmetrical: (2.5 mm Groove, 7 to 9mm wide), 	Changed Product Group, Product Sub-Group.

Biconvex: (2.5mm Groove, 7 to 10mm wide),

Asymetrical: (2.5mm Groove, 7 to 10mm wide)

Changed Items for Prostheses List Report	Page 155 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SO012	FCI Scleral Buckling Devices	Sponge/Cord: Silicone	Cord: 1.0 to 5.0mm O.D. x 150mm length; Half Cord: 	Changed Product Group, Product Sub-Group.

3.0mm to width x1.5mm to 2.5mm height x150mm;

Circular Sponge: 3 to 5mm; Oval Sponge: 2 to 5.5mm

x 4 to 12mm; Half Sponge: 2 to 3.1mm x 4 to 7.5mm;

Grooved Sponge: 3 to 5mm x 5 to  12mm; Gain

Sponge: 6 x 2.5mm; Sahal Sponge: 4 to 5mm x 5 to 7mm

SO013	FCI Scleral Buckling Devices	Strip: Solid Silicone	Strip: 1.4 x 4.4 x 100mm, Morin Strip: 7mm wide x 	Changed Product Group, Product Sub-Group.

100mm long, Caputo Zip Strip: 7 to 9mm wide x

120mm long, Korobelnik Oval Strip: 2 x 5mm

SO014	FCI Scleral Buckling Devices	Band: Solid Silicone	Devin Band: 1 x 4 x 120mm, Ducournau Band: height 	Changed Product Group, Product Sub-Group.

2 to 2.5 x 5.5 to 7.5mm x length 120mm, Ducournau

Band II: 2.1 x 5.5 x 120mm

SO015	FCI Scleral Buckling Devices	Band: Expanded PTFE	Ducournau Band: 2.5 x 5.5 to 7.0mm x 120mm, Band: 	Changed Product Group, Product Sub-Group.

0.5mm to 2.1 x 2.5mm to 15 x 120mm

SO016	FCI Scleral Buckling Devices	Sponge/Strip: Expanded PFTE	Circular Sponge: 3 to 5 x 90mm, Oval Sponge: 2 to 	Changed Product Group, Product Sub-Group.

4mm x 3 to 5 x 90mm, Half Sponge: 2.5 x 7.5 x

120mm; Strip: 9 x 90mm

SO017	FCI Ptose-up	Expanded PTFE	15cm long x 2 or 3mm wide x 0.35mm thick	Changed Product Group, Product Sub-Group.

SO019	FCI Obrbital Implants	Peg & Sleeve	Standard Large	Changed Product Group, Product Sub-Group.

SO020	FCI Lacrimal Intubation Set	Silicone Tubing/Silicone Plug/Metal 	Bika: 0.64mm O.D. Tube/80 x 0.8mm probes, Bika 	Changed Size, Product Group, Product Sub-

Probes/Polypropylene Thread	1.18: 1.18mm O.D. Tube/40 x 1.2mm probes, Bika for 	Group.

DCR: 0.94mm O.D. Tube/50 x 0.8mm probes, Infant

Bika 0.64mm O.D. Tube/55 x 0.7mm probes, Infant

Bika II: 0.64mm O.D. Tube/60 x 0.8mm probes,

Besancon-Nancy Probe: 0.64mm O.D. Tube/80 x

0.8mm probes, Crawford Probe: 0.64mm O.D.

Tube/0.7mm thick probes, FCI 2 Probe: 0.64mm O.D.

Tube/80 x 0.8mm probes, Ptosis Probe: Tube/80 x

0.8mm probes, Mini Monoka: 0.64 x 40mm Tube/2mm

Plug, Perforated Mini Monoka: 0.64 x 40mm

Tube/2mm, Perforated Plug, Medium Collarette

Monoka, Wide Collarette Monoka: 0.64mm O.D.

Tube/80 x 0.8mm probes/4mm Plug, Wide Collarette

Monoka for Infants: 0.64mm O.D. Tube/60 x 0.8mm

probes/4mm Plug, Ritleng Lacrimal Intubation Set:

0.64mm O.D. Tube/ Polypropylene thread, Self-

Threading Monoka Ritleng Type: 0.64mm O.D.

Tube/Polypropylene thread/4mm Plug, Medium

Collarette Self-Threading Monoka Ritleng Type;

Crawford Monoka: 0.64mm O.D. tube/0.7mm thick

probe/plug

Changed Items for Prostheses List Report	Page 156 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SO021	FCI Lacrimal Intubation Set	PVP Coated Silicone Tubing/PVP Coated Silicone 	PVP Bika: 0.64mm O.D. Tube/80 x 0.8mm probes, 	Changed Size, Product Group, Product Sub-

Plug/Metal Probes/Polypropylene Thread	PVP Differential Bika: 0.64 & 1.18mm O.D. Tube/40 	Group.

x 1.2mm probes, PVP Bika for DCR: 0.94mm O.D.

Tube/50 x 0.8mm probes, PVP Infant Bika 0.64mm

O.D. Tube/55 x 0.7mm probes, PVP Infant Bika II:

0.64mm O.D. Tube/60 x 0.8mm probes, PVP

Besancon-Nancy Probe: 0.64mm O.D. Tube/80 x

0.8mm probes, PVP Ritleng Lacrimal Intubation Set:

0.64mm O.D. Tube/Polypropylene thread, PVP Mini

Monoka: 0.64 x 40mm Tube/2mm Plug, Wide

Collarette PVP Monoka: 0.64mm O.D. Tube/80 x

0.8mm probes/4mm Plug, Self-Threading PVP

Monoka Ritleng Type: 0.64mm O.D., Tube/

Polypropylene thread/4mm Plug, PVP Metaireau

Tube Oval Collar: 40mm Tube/4mm Plug, PVP

Metaireau Tube Round Collar: 40mm Tube/4mm Plug,

Lacosystem: Tube /Probe/Polypropylene thread; Self

retaining bicanaliculus stent with dilator: silicone tubes

of various length, probes and dilator.

SO022	FCI Purified Silicone Oil (Solvent Free)	Viscosity: 1000 cst/5000 cst: solvent free purified 	10ml	Changed Product Group, Product Sub-Group.

silicone oil

SO023	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, FCI - OCTA: 	5ml	Changed Product Group, Product Sub-Group.

Purified perfluoro-N-octane

SO024	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, FCI - OCTA: 	7ml	Changed Product Group, Product Sub-Group.

Purified perfluoro-N-Octane

SO025	Ophthalin 1% w/v sodium hyaluronate	Aqueous/vitreous humour replacement medium kits	1 x 1.0mL	Changed Product Group, Product Sub-Group,

Suffix.

SO038	Keraring	Intracorneal rings, PMMA	Arc length: 90 to 160 degrees, Thickness 0.1 to 	Changed Product Group.

SO039	Keraring	Intracorneal rings, PMMA	Arc length:210, thickness: 0.1 to 0.35mm	Changed Product Group.

St. Jude Medical Australia Pty Ltd

Cardio-thoracic

SJ091	Premere PFO Closure System	Percutaneous, transcatheter, self-expanding, dual 	Left Atrial Anchor diameter 20mm, 25mm and 30mm	Changed Size, Product Group.

anchor, occlusion device

Vascular

SJ014	Angio-Seal Vascular Closure Device - STS Platform 	Angio-Seal Haemostatic Puncture Closure Device, 	6F	Changed Product Sub-Group, Suffix.

and STS Plus	Models 6F-STS Platform and 6F STS Plus

SJ015	Angio-Seal Vascular Closure Device - STS Platform 	Angio-Seal Haemostatic Puncture Closure Device, 	8F	Changed Product Sub-Group, Suffix.

and STS Plus	Models 8F-STS Platform and 8F STS Plus

SJ041	Intergard W	Woven Straight	6mm x 30cm  -  38mm x 30cm	Changed Product Sub-Group, Suffix.

SJ042	Intergard W	Woven Bifurcated	18mm x 9mm  -  24mm x 12mm	Changed Product Sub-Group, Suffix.

SJ043	Intergard W	Woven Aortic Arch	24mm x 10mm x 8mm x 8mm x 50cm - 30mm x 	Changed Product Sub-Group, Suffix.

10mm x 8mm x 8mm

SJ044	Intergard K	Knitted Straight	6mm x 40cm - 24mm x 40cm	Changed Product Sub-Group, Suffix.

SJ045	Intergard K	Knitted Bifurcated	12mm x 6mm - 24mm x 12mm	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 157 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SJ046	Intergard K	Knitted Radially Supported	6mm x 70cm - 8mm x 60cm	Changed Product Sub-Group, Suffix.

SJ047	Intergard K	Knitted Axillobifemoral	Diameter (mm) Length (cm) 8 x 8 100/60; 10 x 10 	Changed Product Sub-Group, Suffix.

100/60; 8 x 6 x 6 85/55; 8 x 8 85/55; 8 x 8 100/55

SJ107	InterGard HemaBridge	Aortic Graft	20 x 10mm - 36 x 10mm diameter, 35 x 40cm length	Changed Product Sub-Group, Suffix.

SJ111	InterGard Knitted UltraThin	Straight	6mm x 40cm to 8mm x 70mm	Changed Product Sub-Group, Suffix.

SJ112	InterGuard UltraThin Knitted	Radially Supported Straight	6mm - 70cm to 8mm - 70cm	Changed Product Sub-Group, Suffix.

Stryker Australia Pty Ltd

General/Miscellaneous

SK120	Stryker PainPump	Vacuum operated pump providing controlled infusion 	120ml Unit Base Infusion Kits	Changed Product Group, Product Sub-Group,

of a Local Anaesthetic directly into a surgical site for 	Suffix.

post-operative pain management.	Amended benefit.

SK121	Stryker PainPump	Vacuum operated pump providing controlled infusion 	120ml unit 1-7 Day Infusion Kits	Changed Product Group, Product Sub-Group,

of a Local Anaesthetic directly into a surgical site for 	Suffix.

post-operative pain management.	Amended benefit.

SK122	Stryker PainPump	Vacuum operated pump providing controlled infusion 	120ml unit Two Pump 2-4 Day Infusion Kits	Changed Product Group, Product Sub-Group,

of a Local Anaesthetic directly into a surgical site for 	Suffix.

post-operative pain management.	Amended benefit.

SK123	Stryker PainPump	Vacuum operated pump providing controlled infusion 	270ml unit 1-7 Day Infusion Kits	Changed Product Group, Product Sub-Group,

of a Local Anaesthetic directly into a surgical site for 	Suffix.

post-operative pain management.	Amended benefit.

SK124	Stryker PainPump	Vacuum operated pump providing controlled infusion 	270ml unit Base Infusion Kits	Changed Product Group, Product Sub-Group,

of a Local Anaesthetic directly into a surgical site for 	Suffix.

post-operative pain management.	Amended benefit.

SK125	Stryker PainPump	Vacuum operated pump providing controlled infusion 	75-150mm Extra Fenestration Infusion Catheters	Changed Product Group, Product Sub-Group.

of a Local Anaesthetic directly into a surgical site for

post-operative pain management.

Neurosurgical

HW385	Xia Spine System	Monoaxial Screw	Dia 4.5 - 8.5mm Length 25 - 60mm	Changed Suffix.

HW389	XIA Spine System	Rod - Titanium alloy, Stainless Steel	30 - 600mm	Changed Suffix.

HW390	XIA Spine System	Cross Link	Length 20mm - 99mm	Changed Suffix.

HW393	Xia Spine System	Bone Screw	One size only	Changed Product Sub-Group.

SK112	XIA/Oasys Spine System	Buttress thread locking nut	3.5mm - 6mm	Changed Suffix.

SK223	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Cortical Plate screw Size 3.5mm (Length 6mm-24mm	Changed Product Sub-Group.

in 2mm increments); Cortical Plate screw Size 4.0mm

(Length 6mm-24mm in 2mm increments); Cortical

Plate screw Size 4.0mm (Length 30mm-54mm in

4mm increments)

SK242	Xia Spinal System	Titanium or Stainless Steel	Single Hole Staple; Dual Hole Staples (Caudal/Rostral) 	Changed Product Sub-Group.

- Small, Medium, Large

SK249	Trio Spinal Fixation System	Titanium - Long Post Screw	Diameter - 6.50mm, 7.50mm (Length 40-50mm)	Changed Product Name, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 158 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK250	Trio Spinal Fixation System	Titanium - Offset Connector, Two Step Locking 	Offset Connector - Small, Medium, Large	Changed Product Name, Product Group,

Connector, Variable Offset Connector	Product Sub-Group, Suffix.

SK251	Trio Spinal Fixation System	Titanium - Standard Screw	Diam 4.75mm Length 25-50mm, Diam 5.75mm 	Changed Product Name, Size, Product Sub-

Length 25-55mm, Diam 6.75 Length 25-60mm, Diam 	Group, Suffix.

7.75mm Length 25-60mm, Diam 8.5 Length 30-

SK426	Cortoss Vertebral Augmentation Kit	Cortoss Cement 10cc, Delivery Gun,  Mix Tips, 	10cc	Changed Product Sub-Group, Suffix.

Percutaneous Administration Kit	Amended benefit with $1,026.00 gap.

SR038	Techtonix	Plate, titanium	22mm-58mm	Changed Product Group, Product Sub-Group.

SR039	Techtonix System	Screw, titanium	5-6mm x 25mm-60mm	Changed Product Sub-Group, Suffix.

ST063	Auto Pilot 1.7mm Quik Burr System	Kit contains one 14mm Malleable Burr Hole Cover 	14mm plate. 4mm length screw	Changed Product Group, Product Sub-Group,

plate and 5 titanium alloy bone screws	Suffix.

ST064	Square Fit 1.7mm Quik Burr System	Kit contains one 14mm Malleable Burr Hole Cover 	14mm plate. 4mm length screw	Changed Product Group, Product Sub-Group,

plate and 5 titanium alloy bone screws	Suffix.

ST685	Dimso/Stryker Implants Diapason	Screw - short arm + ball ring titanium, thoracic, 	5, 5.5, 6.7, 7.7, 8, 9mm by 30-60mm with 5mm 	Changed Suffix.

lumbar, sacral	increment

ST687	Dimso/Stryker Implants Diapason	Screw -long arm	5.5, 6.7, 7.7mm by 30-60mm by 5mm increment	Changed Suffix.

ST689	Dimso/Stryker Implants Diapason	Transverse - Domino titanium	One size only	Changed Product Sub-Group.

ST691	Dimso/Stryker Implants Diapason	Transverse ball links (set of 2) titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

ST711	PEEK Interbody Cages	Peek lumbar cages poly ether ether ketone 0, 4 & 8 	Size 7-18mm	Changed Suffix.

degree

ST712	PEEK Interbody Cages	Solis cages poly ether ether ketone	12/5-12/7 and 14/5-14/7	Changed Suffix.

ST893	Stabilis	Frame: Frontal and Oblique	11 - 17mm  0, 4 and 8 degrees	Changed Suffix.

ST896	Stabilis	BGDU	11mm - 17mm	Changed Suffix.

ST914	REFLEX  Anterior Cervical Plating System	Screw	Diameter 4 - 4.5mm lengths 10mm - 20mm	Changed Product Sub-Group.

Orthopaedic

HW001	Hardinge Cement Restrictor	PMMA	6,9 and 12 Leaf	Changed Product Group, Product Sub-Group.

HW002	Seidel Plugs	Seidel Cement Restrictor - Polyethylene.	8, 10, 12, 14, 16, 18mm	Changed Product Group, Product Sub-Group.

HW003	Exeter Cement Security System	Exeter Bone Pug -  PMMA	6, 8, 10, 12, 14, 16, 18, 20mm	Changed Product Group, Product Sub-Group.

HW005	Stryker Bone Plug	 Cement Restrictor	Small, Medium, Large (6-24mm)	Changed Product Group, Product Sub-Group.

HW006	Stryker Cement Security System	PMMA Bone Plug	6 - 24mm	Changed Product Group, Product Sub-Group.

HW011	ABG Hip System	Bone screw - Titanium, used with ABG11 Cups	12,15,20,25,30,35,40,45 and 50mm lengths	Changed Description.

HW014	ABG 11Cup with Hydroxyapatite	Titanium, grit blast and HA for UHMPE insert	Sizes 42mm to 74mm OD in 2mm increments	Changed Description.

HW015	ABG 11Cup with Hydroxyapatite	Titanium, grit blast and HA for ceramic insert	Sizes 44mm to 66mm OD in 2mm increments	Changed Description.

HW024	ABG11 Hip Stem Prosthesis(Various)	Titanium, Plasma coated with HA 	Stem sizes 1 - 8 Left,  1 - 8 Right	Changed Description.

HW025	Austin Moore Endoprosthesis	Long Stem - Vitallium cobalt chrome 	Head size 38 to 63	Changed Description.

HW029	Duration Polyethelene cemented acetabular 	Duration Poly Cup -  Enhanced Polyethylene	22 - 36 mm ID	Changed Product Sub-Group.

HW030	Contemporary Hip System Range	Exeter Contemporary Flanged modified  Enhanced 	ID: 26, 28, 32.  OD 46, 48, 50, 52, 54, 56, 58, 60	Changed Description, Suffix.

Polyethylene

Changed Items for Prostheses List Report	Page 159 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW040	Exeter Hip System	Stainless Steel (Orthinox) polished long 	37.5 and 44mm offsets	Changed Description.

HW041	Exeter Hip System	Stainless Steel (Orthinox)	Stem Sizes 0-6, Offsets 35 - 5, 37 - 5, 44, 50mm	Changed Description.

HW044	Exeter Hip System	X-Change Revision Mesh - Stainless Steel	Acetabular, Femoral and Flat Mesh	Changed Product Group, Product Sub-Group.

HW045	Exeter Hip System	X-Change Revision Mesh -Rim -  Stainless Steel	Small	Changed Product Group, Product Sub-Group.

HW046	Exeter Hip System	X-Change Revision Mesh - Rim -  Stainless Steel	Large	Changed Product Sub-Group.

HW049	Trochanteric Mesh	Wire mesh -  Stainless Steel	50 x 50mm	Changed Product Group, Product Sub-Group.

HW064	Kerboull -  Vitallium	Petrusio cage	44, 48, 52, 56, 60mm OD	Changed Product Name, Description, Product

Sub-Group.

HW072	Vitalock Acetabular system 12  Crossfire liner	UHMPE 	22mm,26mm,28mm, 32mm ID	Changed Product Name, Description.

HW075	Duracon Knee System Femoral Component	Minimally stabilised, uncemented, beaded, CoCr 	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description.

(Vitallium)	Amended benefit.

HW076	Duracon Knee System Femoral Component 	Minimally stabilised, cemented, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description.

Amended benefit with $100.00 gap.

HW077	Duracon Knee System Femoral Component 	Minimally stabilised, uncemented, beaded with PA 	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description.

(Hydroxyapatite), CoCr 	Amended benefit.

HW080	Duracon Knee System Femoral Component	Posterior stabilised, cemented, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description.

Amended benefit.

HW084	Duracon Knee System Augment Locking Screw	Augment Locking Screw, CoCr (Vitallium)	5mm, 10mm	Changed Product Name, Description.

Amended benefit.

HW085	Duracon Knee System Modular Stabilizer Box	Modular Stabilizer Box, CoCr (Vitallium)	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description.

Amended benefit.

HW086	Duracon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, CoCr 	Small, Medium, Large, Extra-Large	Changed Product Name, Description.

(Vitallium) 	Amended benefit.

HW087	Duracon Knee System Tibial Baseplate 	Tibial baseplate, cemented, cruciform stem, CoCr 	Small, Medium, Large, Extra-Large	Changed Product Name, Description.

(Vitallium)	Amended benefit.

HW088	Duracon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, cruciform 	Small, Medium, Large, Extra-Large	Changed Product Name, Description.

stem, with PA (Hydroxyapatite), CoCr (Vitallium)	Amended benefit.

HW091	Duracon Knee System Tibial Insert 	Minimally stabilised, AP Lipped tibial insert, 	Small, Medium, Large, Extra-Large in each thickness 	Changed Product Name, Description.

UHMWPE, (Duration)	9mm, 11mm, 13mm, 16mm, 19mm, 22mm, 25mm	Amended benefit.

HW092	Duracon Knee System Tibial Insert 	Posterior stabilised tibial insert, with reinforcing pin, 	Small, Medium, Large, Extra-Large in each thickness 	Changed Product Name, Description.

UHMWPE, (Duration) 	9mm, 11mm, 13mm, 16mm, 19mm, 22mm, 25mm	Amended benefit.

HW095	Duracon Knee System Tibial Baseplate 	Tibial baseplate, All UHMWPE, cemented 	Small, Medium, Large, Extra-Large	Changed Product Name, Description.

Amended benefit.

HW097	Duracon Knee System Tibial Baseplate Screw	Tibial baseplate screw, CoCr (Vitallium)	6.2mm diameter in 15mm, 20mm, 25mm, 30mm, 	Changed Product Name, Description.

35mm, 40mm, 50mm, 55mm, 60mm lengths	Amended benefit.

HW098	Duracon Knee System Stems	TS (Total Stabilizer) Stems, CoCr (Vitallium), 	40mm, 80mm, 155mm lengths	Changed Product Name, Description.

uncemented	Amended benefit.

HW099	Duracon Knee System Tibial Augments 	Tibial Augments Full wedge (angled) & Full block 	Left & right, full & angled, 5mm & 10mm	Changed Product Name, Description, Size.

(flat), CoCr (Vitallium), cemented	Amended benefit.

HW102	Duracon Knee System Tibial Insert 	Minimally stabilised, tibial insert to match PCA femur 	Small, Medium, Large, Extra-Large in each thickness 	Changed Product Name, Description.

with Duracon baseplate, UHMWPE (Duration)	9mm, 11mm, 13mm, 16mm, 19mm, 22mm, 25mm, 	Amended benefit.

28mm, 31mm

Changed Items for Prostheses List Report	Page 160 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW105	Duracon Knee System Patella Component	Patella component, UHMWPE (Duration), cemented	Small, Medium, Large, Xlarge	Changed Product Name, Description.

Amended benefit.

HW108	Scorpio Knee System Patella Component	Patella component, Metal backed, CoCr, uncemented, 	Small, Medium, Large, Xlarge	Changed Product Name, Description.

beaded, PA (Hydroxyapatite), Moulded UHMWPE 	Amended benefit.

(N2VAC), Fixed

HW140	Kinemax Knee System Patella Component	Patella component Symmetric & Asymmetric, 	Small, Medium, Large	Changed Product Name, Description.

UHMWPE (Duration), cemented	Amended benefit.

HW141	MRH (Modular Rotating Hinge) Tibial Baseplate	MRH Tibial baseplate, CoCr (Vitallium), fixed insert 	Small, Medium, Large	Changed Product Name, Description, Product

with central hole for hinged insertion, w/attachable stem	Group, Product Sub-Group, Suffix.

Amended benefit.

HW143	MRH (Modular Rotating Hinge) (Modular Rotating 	MRH Rotating Hinge Femoral component, CoCr 	Left, Right	Changed Product Name, Description, Product

Hinge) Femoral Component 	(Vitallium), cemented, w/attachable stem, Fixed	Group, Product Sub-Group, Suffix.

Amended benefit.

HW144	KRH (Kinematic Rotating Hinge) Tibial Insert	KRH Rotating Hinge Tibial insert UHMWPE 	Small and Medium 11mm/15mm by 110mm/180mm	Changed Product Name, Description.

(Duration), Fixed	Amended benefit.

HW145	GMRS (Global Modular Replacement System) MRH 	GMRS, MRH, KRH Rotating Hinge Femoral Bushings 	Small & standard	Changed Product Name, Description, Size.

(Modular Rotating Hinge) Kinematic Rotating Hinge 	& Bumpers UHMWPE, (Duration) 	Amended benefit.

(KRH) Femoral Bushings & Bumpers

HW147	Kinemax Knee System Femoral Component 	Minimally stabilised, cemented, CoCr (Vitallium)	XS, S, M, L, XL, XXL	Changed Product Name, Description.

Amended benefit.

HW149	Kinemax Knee System Stabilizer Femoral Component	Totally constrained, cemented, CoCr (Vitallium)	XS, S, M, L, XL, XXL	Changed Product Name, Description.

Amended benefit.

HW153	Kinemax Knee System & Modular Rotating Hinge 	Distal & posterior femoral blocks & spacers, CoCr 	Kinemax: Full, Distal & Posterior Augments: xs-xl; 	Changed Product Name, Description, Size.

Distal & Posterior Femoral Augments & Spacers	(Vitallium), cemented	5mm /10mm         MRH Distal Femoral Augments xs-	Amended benefit.

xl; 5mm / 10mm

HW154	Kinemax Knee System Tibial Baseplate 	Tibial baseplate, cemented, CoCr (Vitallium) 	XS, S, M, L, XL	Changed Product Name, Description.

Amended benefit.

HW160	Kinemax Knee System Tibial Insert	Minimally stabilised, tibial insert, Low Stress, 	8, 10, 12, 15, 18, 21, 25mm per size	Changed Product Name, Description.

UHMWPE (Duration)	Amended benefit.

HW161	Kinemax Knee System Tibial Insert	Totally constrained tibial insert, with metal post, 	8, 10, 12, 15, 18, 21, 25mm per size	Changed Product Name, Description, Suffix.

UHMWPE (Duration)	Amended benefit.

HW162	Interax Knee System Patella	Patella, resurfacing, all UHMWPE (Duration)	8, 10, 12, 15, 18, 21mm per size	Changed Product Name, Description.

Amended benefit.

HW167	Kinemax Knee System Tibial Fixation Peg	Tibial Fixation Peg, CoCr (Vitallium), 	20mm	Changed Product Name, Description.

Amended benefit.

HW168	Kinemax Knee System Full Tibial Augment	Full Tibial Block, CoCr (Vitallium), cemented	xs-xl, 10mm thickness	Changed Product Name, Description, Size.

Amended benefit.

HW169	Kinemax Knee System Hemi Tibial Augment	Half block, CoCr (Vitallium), cemented	 LM/RL & LL/RM xs-xl in 5 & 10mm thickness	Changed Product Name, Description, Size.

Amended benefit.

HW171	Duracon Knee System / Kinemax Knee System stem	Stem, femoral & tbial, CoCr, (Vitallium), cemented	40mm, 80mm, 155mm for each size	Changed Product Name, Description.

Amended benefit.

HW174	Kinemax Knee System Tibial Insert	Minimally stabilised tibial insert, UHMWPE, (Duration)	8, 10, 12, 15, 18, 21, 25mm per size	Changed Product Name, Description.

Amended benefit.

HW182	PCA Modular Knee System Patella Component	Patella component, UHMWPE, (Duration), cemented	Small, Medium, Large, Extra Large	Changed Product Name, Description.

Amended benefit.

Changed Items for Prostheses List Report	Page 161 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW183	First Step High Tibial Osteotomy System	Proximal Component 5mm Step -  Vitallium	60 to 90mm in 5mm increments	Changed Product Group, Product Sub-Group,

Suffix.

HW184	First Step High Tibial Osteotomy System	Proximal Component 10mm Step -  Vitallium	60 to 90mm in 5mm increments	Changed Product Group, Product Sub-Group,

Suffix.

HW185	First Step High Tibial Osteotomy System	Proximal Component 15mm Step -  Vitallium	60 to 90mm in 5mm increments	Changed Product Group, Product Sub-Group,

Suffix.

HW186	First Step High Tibial Osteotomy System	Distal Component -  Vitallium	30 to 55mm in 5mm increments	Changed Product Group, Product Sub-Group,

Suffix.

HW187	First Step High Tibial Osteotomy System	Total Procedure -  Vitallium	60 to 90mm in 5mm increments  30mm to 55mm in 	Changed Product Group, Product Sub-Group,

5mm increments	Suffix.

HW188	Howmedica Modular Resection System	Growing Prosthesis -  Vitallium	Expandable prostheses -  Custom made to child	Changed Product Group, Product Sub-Group,

Suffix.

HW191	Howmedica Modular Resection System	Proximal Femur -  Vitallium	120, 140, 160mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

HW192	HMRS (Howmedica Modular Replacement System) 	HMRS Hex Head Cortical Bone Screw, Self Tapping, 	16-30mm in 2mm increments and 35-70mm in 5m 	Changed Product Name, Description, Product

Hex Head Cortical Bone Screw, Self Tapping	CoCr (Vitallium) for prosthesis fixation 	increments	Group, Product Sub-Group, Suffix.

Amended benefit.

HW193	Howmedica Modular Resection System	Distal Femur -  Vitallium	120, 140, 160mm	Changed Product Group, Product Sub-Group.

HW195	HMRS (Howmedica Modular Replacement System) 	HMRS Plug Screw Axis, UHMWPE, (Duration) for 	One size only	Changed Product Name, Description, Product

Plug screw Axis	fixation of HMRS Axis within HMRS bearing 	Group, Product Sub-Group, Suffix.

component of HMRS Distal Femur / Proximal Tibia 	Amended benefit.

and HMRS Femoral / Tibial Joint.

HW196	HMRS (Howmedica Modular Replacement System) 	HMRS Tibial Joint (baseplate) - uncemented, CoCr 	One size only	Changed Product Name, Description, Suffix.

Tibial Joint (Baseplate)	(Vitallium), porous coated, w/medial & lateral flanges 	Amended benefit.

moulde agaibnst tibia w/bar bolt fixation, and metal

cHydroxyapatitember for axis of hinge

HW197	HMRS (Howmedica Modular Replacement System) 	HMRS Proximal Tibia, uncemented, CoCr (Vitallium),	120mm, 140mm, 160mm	Changed Product Name, Description, Suffix.

Proximal Tibial Component	 porous coated, and metal cHydroxyapatitember for 	Amended benefit.

axis of hinge, connects to anchorage piece for bone

attachement, Fixed

HW199	Howmedica Modular Resection System	Circlip -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW200	Howmedica Modular Resection System	Plug Screw Axis -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

HW201	HMRS (Howmedica Modular Replacement System) 	HMRS Fixed Hinged Knee Axle Pin, CrCo, 	One size only	Changed Product Name, Description, Product

Fixed Hinged Knee Axle Pin 	(Vitallium), uncemented, Fixed	Group, Product Sub-Group, Suffix.

Amended benefit.

HW202	Howmedica Modular Resection System	Wedge -  Vitallium	One size only	Changed Description, Size, Product Group,

Product Sub-Group, Suffix.

Amended benefit.

HW203	Howmedica Modular Resection System	Bearing -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

HW204	HMRS Extension Piece	Extension Piece, Uncemented CoCr, connects to 	60mm, 80mm, 100mm	Changed Product Name, Description, Size,

anchorage piece (optional)	Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 162 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW205	HMRS (Howmedica Modular Replacement System) 	HMRS Straight Anchorage Piece (Stem) w/ small 	11, 12, 13, 14, 15mm	Changed Product Name, Description, Suffix.

Straight Anchorage Piece	diaphyseal replacement, uncemented, porous coated, 	Amended benefit.

CoCr (Vitallium), porous coated with lateral flange w/

3 holes for fixation

HW206	HMRS (Howmedica Modular Replacement System) 	HMRS Curved Anchorage Piece w/diaphyseal 	12, 13, 14, 15, 16, 17, 19mm	Changed Product Name, Description, Suffix.

(Howmedica Modular Replacement System) Curved 	replacement, uncemented, CoCr (Vitallium), porous 	Amended benefit.

Anchorage Piece 	coated with lateral flange w/ 3 holes for fixation

HW207	HMRS (Howmedica Modular Replacement System) 	HMRS Connecting Piece, uncemented, CoCr 	One size only	Changed Product Name, Description, Suffix.

Connecting Piece 	(Vitallium) 2 parts, bolted together with 2 screws, 	Amended benefit.

connecting Distal & Proximal Femur +/- extension

piece for total femur replacement.

HW208	HMRS (Howmedica Modular Replacement System) 	HMRS Hexagonal Socket Bolt - CoCr (Vitallium) for 	One size only	Changed Product Name, Description, Product

Hexagonal Socket Bolt	HMRS Connecting piece assembly (2)	Group, Product Sub-Group, Suffix.

Amended benefit.

HW209	HMRS (Howmedica Modular Replacement System) 	HMRS Screw Jack UHMWPE (Duration) - use with 	One size only	Changed Product Name, Description, Suffix.

Screw Jack	Self Tapping Hex Head Cortical Bone Screws for 	Amended benefit.

Proximal Femur and Tibia soft tissue fixation

HW210	Howmedica Modular Resection System	Fixation Plate -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW212	Howmedica Modular Resection System	Barr Bolt Nut -  Vitallium	51, 57, 64, 70, 76, 83mm	Changed Product Group, Product Sub-Group.

HW213	Howmedica Modular Resection System	Humeral Bearing -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

HW214	Howmedica Modular Resection System	Humeral Head Fixed -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW215	Howmedica Modular Resection System	Humeral Head Rotating -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

HW216	Howmedica Modular Resection System	Distal Humerus Cone -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

HW217	Howmedica Modular Resection System	Distal Humerus Flange -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

HW218	Howmedica Modular Resection System	Humerus Connection Piece -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW219	Howmedica Modular Resection System	Humerus Connecting Screw -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW221	Howmedica Modular Resection System	Humerus Extension Piece -  Vitallium	5, 15, 30, 45, 60, 75, 90, 105, 120, 135, 150, 165mm	Changed Product Group, Product Sub-Group.

HW222	Howmedica Modular Resection System	Humeral Anchorage Piece -  Vitallium	9, 10, 11, 12mm	Changed Product Group.

HW223	Howmedica Modular Resection System	Ulna Joint -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW224	Howmedica Modular Resection System	Humeral Axis -  Vitallium	One size only	Changed Product Group.

HW225	Howmedica Modular Resection System	Revision Bushing -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW227	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Distal Femur, CoCr (Vitallium) 	120, 140, 160mm	Changed Product Name, Description, Suffix.

Rotating Hinge Distal Femur Component	uncemented, porous coated, Fixed	Amended benefit.

HW228	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Axle - uncemented, CoCr 	One size only	Changed Product Name, Description, Suffix.

Rotating Hinge Axle	(Vitallium)	Amended benefit.

HW229	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Femoral Bushing - UHMWPE, 	One size only	Changed Product Name, Description, Suffix.

Rotating Hinge Femoral Bushing	(Duration) 	Amended benefit.

Changed Items for Prostheses List Report	Page 163 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW230	HMRS (Howmedica Modular Replacement System) 	HMRS & MRH Rotating Hinge Bumper - (Duration) 	HMRS: 0°, 3°, 5°       MRH: 0°, 3°	Changed Product Name, Description, Size,

& MRH (Modular Rotating Hinge) Rotating Hinge 	UHMWPE	Suffix.

Bumper	Amended benefit.

HW231	GMRS (Global Modular Replacement System) & 	GMRS & MRH Tibial Rotating Hinge component (not 	GMRS-small  MRH/crossover                      MRH - xs-	Changed Product Name, Description, Size,

MRH (Modular Rotating Hinge) Tibial Rotating 	baseplate) separated from femoral component by 	xl  & l-xl	Product Group, Product Sub-Group.

bumper and rotates on top of tibial insert , Fixed	Amended benefit.

HW232	HMRS (Howmedica Modular Replacement System) 	HMRS Rotating Hinge Tibial insert, UHMWPE 	6, 10, 14mm	Changed Product Name, Description, Product

Rotating Hinge Tibial Insert	(Duration), Fixed 	Group, Product Sub-Group.

Amended benefit with $930.00 gap.

HW233	KRH (Kinemax Knee System Rotating Hinge) & 	KRH & MRH Rotating Hinge Tibial Sleeve, 	One size only	Changed Product Name, Description, Product

MRH (Modular Rotating Hinge) Rotating Hinge Sleeve	UHMWPE, (Duration) houses Rotating Hinge Tibial 	Group, Product Sub-Group.

Rotating component sHydroxyapatiteft	Amended benefit.

HW234	HMRS (Howmedica Modular Replacement System) 	HMRS stemmed tibial baseplate, CoCr (Vitallium), 	One size only	Changed Product Name, Description.

Stemmed Tibial Baseplate	uncemented, porous coated, w/large connecting stem 	Amended benefit.

attached for diaphyseal fixation, Fixed

HW236	Howmedica Modular Resection System	Duration Femoral Bushing -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW240	Howmedica Modular Resection System	Duration Wedge -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW241	Howmedica Modular Resection System	Duration Bearing -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW242	Howmedica Modular Resection System	Duration Fixation Plate -  Vitallium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

HW244	Howmedica Modular Resection System	Oncology Proximal Femur -  Vitallium	26mm, 28mm head with 70mm segment	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

HW245	MRS (Modular Replacement System) Distal Femur 	MRS Distal Femur Condyle - uncemented, CoCr 	Small, Standard	Changed Product Name, Description, Suffix.

Condyle	(Vitallium), Fixed	Amended benefit.

HW246	MRS (Modular Replacement System) Femoral Body	MRS Femoral Body uncemented, male/female 	Standard Diametre 40-220mm in 20mm increments 	Changed Product Name, Description, Suffix.

connections, Titanium 	and small diameter 40-160mm in 20mm increments	Amended benefit.

HW247	Howmedica Modular Resection System	Oncology Femoral Stem -  Vitallium	127mm and 203mm length 11, 13, 15, 17mm diameter	Changed Product Group, Product Sub-Group.

HW248	MRH (Modular Rotating Hinge) & GMRS (Global 	MRH & GMRS Tibial insert, (Duration) UHMWPE, 	xsmall - xlarge	Changed Product Name, Description, Size,

Modular Replacement System) Tibial Inserts	for MRH and GMRS Tibial baseplate, CoCr 	Product Group, Product Sub-Group.

(Vitallium), Fixed with central hole for Hinge	Amended benefit with $987.00 gap.

HW249	MRS (Modular Replacement System) Proximal Tibia 	Proximal Tibia - uncemented, porous coated, CoCr 	95mm segment	Changed Product Name, Description, Suffix.

(Vitallium), 8 x tendon/suture holes for soft tissue re-	Amended benefit.

attachment, Fixed

HW250	MRS (Modular Replacement System) Tibial Stem 	MRS Tibial Stem - cemented, CoCr (Vitallium), Fixed	127mm in 9, 11, 13mm diameter	Changed Product Name, Description, Suffix.

Amended benefit.

HW251	MRS (Modular Replacement System) Tibial Insert 	Tibial insert UHMWPE (Duration) for MRS Metal 	Small and Medium in 11, 13, 16, 21mm	Changed Product Name, Description, Suffix.

Encapsulated Rotating Hinge Tibial component, Fixed	Amended benefit.

HW254	HMRS Oncology Humeral Head/Cap	Cobalt Chromium	40, 44mm, Cap	Changed Product Group, Product Sub-Group.

HW255	Howmedica Modular Resection System	Oncology Humeral Body -  Titanium	40 - 140mm in 20mm increments	Changed Product Group, Product Sub-Group.

HW256	HMRS Oncology Humeral Stem	Cobalt Chromium	7x75mm, 7x115mm, 9x75mm, 9x115mm, 	Changed Product Group, Product Sub-Group.

11x115mm, 25mmx75mm, 25mmx100mm,

50mmx75mm, 50mmx100mm,75mmx100mm,

Changed Items for Prostheses List Report	Page 164 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW257	Wichita Fusion Nail System	Femoral Component -  Vitallium	18mm	Changed Product Group, Product Sub-Group,

Suffix.

HW258	Wichita Fusion Nail System	Tibial Component -  Vitallium	12mm	Changed Product Group, Product Sub-Group,

Suffix.

HW259	Wichita Fusion Nail System	Compression Screw -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW260	Wichita Fusion Nail System	Transverse Screw -  Vitallium	30-60mm in 5mm increments	Changed Product Group, Product Sub-Group.

HW274	Alta Modular Trauma System - Components	Cortical Screw/Screw Nut Assembly - Titanium	5mm	Changed Product Group, Product Sub-Group.

HW294	Alta Modular Trauma System - Components Screws	Washer - Cancellous Screw -  Titanium	One size only	Changed Product Group, Product Sub-Group.

HW295	Asnis Guided Screw System	Screw, Stainless Steel	35-130mm	Changed Product Group, Product Sub-Group.

HW296	Asnis Guided Screw System	Screw -  Titanium	4, 5, 6.5,8mm	Changed Product Group, Product Sub-Group.

HW297	Asnis Guided Screw System	Guide Pin, Stainless Steel	1.4,2.0,3.2mm	Changed Product Group, Product Sub-Group,

Suffix.

HW298	Asnis Guided Screw System	Washer, Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

HW299	Asnis Guided Screw System	Washer -  Titanium	4, 5, 6.5,8mm	Changed Product Group, Product Sub-Group.

HW300	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable -  Stainless Steel	1.6 and 2mm 	Changed Product Group, Product Sub-Group.

HW301	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Sleeve -  Stainless Steel	1.6 and 2mm 	Changed Product Group, Product Sub-Group.

HW302	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Trochanter Grip -  Stainless Steel	Small, Medium, Large	Changed Product Group, Product Sub-Group.

HW303	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable & Sleeve -  Stainless Steel 	1.6 and 2mm 	Changed Product Group, Product Sub-Group.

HW304	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel: Cable & Sleeve Beaded -  Stainless Steel	1.6 and 2mm 	Changed Product Group, Product Sub-Group.

HW305	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:5 hole -  Stainless Steel	6 inches	Changed Product Group, Product Sub-Group.

HW306	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:7 hole -  Stainless Steel	8 inches	Changed Product Group, Product Sub-Group.

HW307	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:9 hole -  Stainless Steel	10 inches	Changed Product Group, Product Sub-Group.

HW308	Dall Miles Cable Grip System - Stainless Steel	Stainless Steel Plate:11 hole -  Stainless Steel	12 inches	Changed Product Group, Product Sub-Group.

HW309	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable -  Vitallium	1.6 and 2mm	Changed Product Group, Product Sub-Group.

HW310	Dall Miles Cable Grip System - Vitallium	Vitallium: Sleeve -  Vitallium	1.6 and 2mm	Changed Product Group, Product Sub-Group.

HW311	Dall Miles Cable Grip System - Vitallium	Vitallium: Trochanter Grip -  Vitallium	Small, Medium and Large	Changed Product Group, Product Sub-Group.

HW312	Dall Miles Cable Grip System - Vitallium	Vitallium: Mini Cleat. Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW313	Dall Miles Cable Grip System - Vitallium	Vitallium: Grooved Button -  Vitallium	One size only	Changed Product Group, Product Sub-Group.

HW314	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Grip Combined -  Vitallium	1.6 and 2mm	Changed Product Group, Product Sub-Group.

HW315	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve -  Vitallium	1.6 and 2mm	Changed Product Group, Product Sub-Group.

HW316	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve Beaded -  Vitallium	1.6 and 2mm	Changed Product Group, Product Sub-Group.

HW317	Rutherford Staple	Ellison Arched Staple, Vitallium	9,12,15mm x 23mm	Changed Product Group, Product Sub-Group.

HW318	Rutherford Staple	Ellison Flat Staple, Vitallium	8,11,14 x 23mm	Changed Product Group, Product Sub-Group.

HW319	Rutherford Staple	Ellison Soft Tissue Retainer,  Vitallium	8,11,14mm 	Changed Product Group, Product Sub-Group.

HW320	Antibiotic Simplex Bone Cement with Tobramycin	Polymethyl Methacrylate, Styrene Copolymer, 	40 grams	Changed Product Group, Product Sub-Group,

Barium Sulfate	Suffix.

Changed Items for Prostheses List Report	Page 165 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW321	Antibiotic Simplex Bone Cement	Erythromycin and Colistin -  Polymethyl 	40 grams	Changed Product Group, Product Sub-Group,

Methacrylate, Styrene Copolymer, Barium Sulfate	Suffix.

HW322	Surgical Simplex P Radiopaque Bone Cement	Polymethyl Methacrylate, Styrene Copolymer, 	40 grams	Changed Product Group, Product Sub-Group.

Barium Sulfate

HW328	Howmedica Dynamic Joint Distractor	Complete Straight Body Frame -  Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

HW330	Omega Plus Compression Hip Screw System	Hip Sideplate - Standard Barrel -  Stainless Steel	2,3,4,5 hole 130-150 degrees	Changed Product Group, Product Sub-Group.

HW331	Omega Plus Compression Hip Screw System	Hip Sideplate - Short Barrel -  Stainless Steel	6,8,10,12 hole 130-150 degrees	Changed Product Group, Product Sub-Group.

HW332	Omega Plus Compression Hip Screw System	Supracondylar Sideplate -  Stainless Steel	6,8,10,12,14 holes	Changed Product Group, Product Sub-Group.

HW333	Omega Plus Compression Hip Screw System	Lag Screw - Standard -  Stainless Steel	50-130mm length 	Changed Product Group, Product Sub-Group,

Suffix.

HW334	Omega Plus Compression Hip Screw System	Lag Screw - Super -  Stainless Steel	50-130mm length 	Changed Product Group, Product Sub-Group,

Suffix.

HW335	Omega Plus Compression Hip Screw System	Compression Screw -  Stainless Steel	25mm length	Changed Product Group, Product Sub-Group.

HW336	Omega Plus Compression Hip Screw System	Cortical -  Stainless Steel	4.5mm dia	Changed Product Group, Product Sub-Group.

HW337	Omega Plus Compression Hip Screw System	Cancellous -  Stainless Steel	6.5mm dia	Changed Product Group, Product Sub-Group.

HW338	Gamma Locking Nail	Gamma Complete -  Orthinox	125,130,135 degrees x 180mm length	Changed Product Group, Product Sub-Group.

HW341	Gamma Locking Nail	Long Nail -  Orthinox	125,130,135 degrees x 340-440mm length	Changed Product Group, Product Sub-Group.

HW342	Gamma Locking Nail	Distal Screw -  Orthinox	25-95mm length	Changed Product Group, Product Sub-Group.

HW343	Gamma Locking Nail	Lag Screw -  Orthinox	85-120mm length	Changed Product Group, Product Sub-Group,

Suffix.

HW344	Gamma Locking Nail	Set Screw -  Orthinox	8mm dia x 22-27 mm length	Changed Product Group, Product Sub-Group.

HW345	Gamma Locking Nail	Proximal Plug -  Orthinox	17mm	Changed Product Group, Product Sub-Group.

HW346	Grosse & Kempf Locking Nail	Femoral - Rods and Screws -  Stainless Steel	10,11,12,13,14,15, 16mm width, 260-380mm length	Changed Product Group, Product Sub-Group,

Suffix.

HW347	Grosse & Kempf Locking Nail	Tibial - Rods and Screws -  Stainless Steel	7.5,9,10,11,12,13, 14,15mm width, 240-375mm length	Changed Product Group, Product Sub-Group,

Suffix.

HW348	Grosse & Kempf Locking Nail	Unreamed -  Stainless Steel	7.5mm dia,  240 - 390mm length	Changed Product Group, Product Sub-Group,

Suffix.

HW349	Grosse & Kempf Locking Nail	Cross Screw -  Stainless Steel	6.28mm  x 15-95mm	Changed Product Group, Product Sub-Group.

HW350	Grosse & Kempf Locking Nail	Cross Screw -  Stainless Steel	3.7mm x 25-70mm	Changed Product Group, Product Sub-Group.

HW354	Metaizeau Nail	Stainless Steel	2-4mm x 400-500mm	Changed Product Group, Product Sub-Group.

HW368	Osteo Kirschner Wire	K wire -  Stainless Steel	Diameter 1.0 - 2.0mm	Changed Product Group, Product Sub-Group.

HW373	Howmedica Mainstay Soft Tissue Anchor	With suture - Titanium	4.5 anchor with #2 and #5 suture, 2.7 anchor with #0 	Changed Product Group, Product Sub-Group.

suture

HW374	Howmedica Mainstay Soft Tissue Anchor	Without suture - Titanium	4.5, 3.5 and 2.7 anchor	Changed Product Group, Product Sub-Group,

Suffix.

HW375	Howmedica Mainstay Soft Tissue Anchor	Zip anchor - Titanium	Sip 4.5 anchor with #5 suture and #2 suture 2 strands, 	Changed Product Group, Product Sub-Group.

zip 3.5 anchor with #2 suture and #0 suture 2 strands,

zip 2.7 anchor with #0 suture

HW376	Profyle - Hand and Small Fragment System	Condylar Plates - Titanium	1.7mm, 2.3mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 166 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

HW377	Souter Strathclyde Elbow	Humeral - Long stem, left and right	Medium, Large	Changed Product Group.

HW378	Souter Strathclyde Elbow	Ulnar - Retentive, non retentive	50 - 90mm (Non), 70 - 90mm (Retentive)	Changed Product Group, Product Sub-Group.

HW379	Souter Strathclyde Elbow	Revision Humeral  - Custom, Long Stem	A, B, C, D	Changed Product Group, Suffix.

HW380	Souter Strathclyde Elbow	Revision Ulnar - Custom, Long stem	Small, Medium	Changed Product Group, Product Sub-Group,

Suffix.

HW381	Radial Head Prostheses	Radial Head - Small, Medium, Large	8 - 15mm	Changed Product Group, Product Sub-Group.

HW394	Stryker large ceramic femoral head 	Biolox Forte	36mm - 60mm	Changed Product Name, Size.

HW396	Duracon Knee System Femoral Component	Minimally stabilised, cemented, CoCr (Vitallium), with	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description, Product

removable lugs, and capacity to attach femoral box	Sub-Group.

Amended benefit with $100.00 gap.

HW397	Duracon Knee System Femoral Component	Minimally stabilised, uncemented, beaded, with 	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description, Product

removable lugs and capacity to attach box , CoCr 	Sub-Group.

(Vitallium), 	Amended benefit.

HW398	Duracon Knee System Femoral Component	Posterior stabilised, uncemented, beaded with PA 	Small, Medium, Medium-Large, Large, Extra-Large	Changed Product Name, Description.

(Hydroxyapatite), CoCr, 	Amended benefit.

HW399	Definition PM Femoral Component	Femoral Stem -  cobal chrome (vitallium pre coat)	Stem sizes 1 - 7	Changed Description.

HW401	Kinemax Knee System Femoral Component	Minimally stabilised, uncemented, beaded, CoCr, 	XS, S, M, L, XL, XXL	Changed Product Name, Description.

(Vitallium)	Amended benefit.

SK006	Stryker Trauma Locking Nail System	Titanium - Humeral Nail	Dia 7,8,9mm length 140 - 320mm	Changed Product Group, Product Sub-Group,

Suffix.

SK007	Hoffmann II External Fixation System	Hoffmann II Compact -Compression/Distraction Rod	One size only	Changed Product Group, Product Sub-Group.

SK008	Hoffmann II External Fixation System	Hoffmann II Compression/Distraction Tube	One size only	Changed Product Group, Product Sub-Group.

SK009	Hoffmann II External Fixation System	Hoffman II Miami Post	One size only	Changed Product Group, Product Sub-Group.

SK014	Hoffmann II	Hoffmann II Mini- Linking Pivot for 2mm & 3mm pins	One size only	Changed Product Group, Product Sub-Group.

SK015	Hoffmann II	Hoffmann II Mini- Shank Straight Pin Holder - for 	2, 3 mm	Changed Product Group, Product Sub-Group.

1.5mm & 2.0mm pins

SK016	Hoffmann II	Hoffmann II Mini- Shank 'T' Offset Pin Holder - for 	2mm	Changed Product Group, Product Sub-Group.

1.5mm & 2.0mm pins

SK017	Hoffmann II	Hoffmann II Mini- 3 Hole Vise	One size only	Changed Product Group, Product Sub-Group.

SK018	Hoffmann II	Hoffmann II Mini- Simple Swivel Clamp	One size only	Changed Product Group, Product Sub-Group.

SK019	Hoffmann II	Hoffmann II Mini- Insulated Smooth Vise	One size only	Changed Product Group, Product Sub-Group.

SK020	Hoffmann II	Hoffmann II Mini- Articulating Coupling	3x3, 2x3	Changed Product Group, Product Sub-Group.

SK021	Hoffmann II	Hoffmann II Mini- Adjustable Swivel Clamp	One size only	Changed Product Group, Product Sub-Group.

SK022	Modular Revision System Fluted Distal Stems	Titanium, polished, fluted, no HA	Stem Lengths 127 & 167mm straight & bowed. 	Changed Description, Product Sub-Group.

Diameter 11-26mm

SK023	ACL Wedge Interference Screw	Threaded titanium screw for ligament/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	Changed Product Group, Product Sub-Group.

SK024	Stryker Cross-screw	Threaded titanium screw for ligament/tendon fixation	8mm x 40-60mm	Changed Product Group, Product Sub-Group.

SK026	Leibinger screws	Profyle titanium hand and small fragment system 	Dia 1.2mm, length 14 - 20mm	Changed Product Group, Product Sub-Group.

screws

Changed Items for Prostheses List Report	Page 167 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK027	Leibinger screws	Profyle titanium hand and small fragment system 	Dia 1.9mm, length 8 - 12mm	Changed Product Group, Product Sub-Group.

screws

SK028	Leibinger screws	Profyle titanium hand and small fragment system 	Dia 2.3mm, length 26 - 38mm	Changed Product Group, Product Sub-Group.

screws

SK029	Leibinger screws	Profyle titanium hand and small fragment system 	Dia 2.5mm, length 8 - 12mm	Changed Product Group, Product Sub-Group.

screws

SK030	Leibinger screws	Profyle titanium hand and small fragment system 	Dia 3.0mm, length 8 - 34mm	Changed Product Group, Product Sub-Group.

screws

SK031	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	1.2mm sys XS, T-shape 8 holes	Changed Product Group, Product Sub-Group.

SK037	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system M, fixation 3D 6x2 holes	Changed Product Group, Product Sub-Group,

Suffix.

SK038	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system L, compr 10 hole T bar	Changed Product Group, Product Sub-Group.

SK039	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system M, compr 8 holes straight bar	Changed Product Group, Product Sub-Group.

SK045	Hoffmann II	Hoffmann II Mini- Shank Offset Pin Holder - for 	2, 3mm	Changed Product Group, Product Sub-Group.

1.5mm & 2.0mm pins

SK046	Stryker Wedge Interference Screw	Threaded bioabsorbable screw for ligment/tendon 	Dia 7 - 12mm, length 20 - 40mm	Changed Product Group, Product Sub-Group.

fixation

SK047	Stryker Wedge Interference Screw	Threaded biosteon screw for ligment/tendon fixation	Dia 7 - 12mm, length 20 - 40mm	Changed Product Group, Product Sub-Group.

SK048	Stryker Cuff Anchor	Titanium anchor kit for soft tissue reattachment	Length 5-8mm	Changed Product Group, Product Sub-Group.

SK049	Stryker Plating System	Cancellous bone screws	 4.0mm diameter, 8 - 150mm lengths	Changed Product Group, Product Sub-Group.

SK053	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 55-95mm	Changed Product Group, Product Sub-Group.

SK054	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 100-150mm	Changed Product Group, Product Sub-Group.

SK055	Matta Pelvic System	Straight acetabular plate	10-14 Holes	Changed Product Group, Product Sub-Group.

SK056	Stryker Modular Revision Hip System	Milled Proximal Body Titanium Plasma Spray, HA	Dia 19-25mm with 2 mill Depths; 27-29mm with 3 	Changed Description, Product Sub-Group.

Mill Depths

SK057	Matta Pelvic System	Straight acetabular plate	15-20 Holes	Changed Product Group, Product Sub-Group.

SK058	Stryker Modular Revision Hip System	Porous Distal Stems Titanium Plasma Spray	Stem Lengths 127 & 167mm straight & bowed. 	Changed Product Sub-Group.

Diameter 11-26mm

SK060	Stryker Modular Revision Hip System	Broached Proximal Body Titanium Plasma Spray, HA	1-8	Changed Description, Product Sub-Group.

SK061	Stryker Modular Hip System	Cone Proximal Body Titanium Plasma Spray, HA	Dia 19-31mm, Heights +0,+10,+20,+30	Changed Description, Product Sub-Group.

SK064	Skryker Plating  System	Matta Pelvic Plates	Curved, Straight and Symphysis Pubis 2 - 30 hole	Changed Product Group, Product Sub-Group.

SK067	Matta Pelvic System	Curved Pelvic Plate Radius 108	4-9 Holes	Changed Product Group, Product Sub-Group.

SK069	Matta Pelvic System	Curved Pelvic Plate Radius 108	10-14 Holes	Changed Product Group, Product Sub-Group.

SK070	Matta Pelvic System	Curved Pelvic Plate Radius 108	15-20 Holes	Changed Product Group, Product Sub-Group.

SK071	Matta Pelvic System	Curved Pelvic Plate Radius 88	4-9 Holes	Changed Product Group, Product Sub-Group.

SK073	Matta Pelvic System	Curved Pelvic Plate Radius 88	10-14 Holes	Changed Product Group, Product Sub-Group.

SK074	Matta Pelvic System	Curved Pelvic Plate Radius 88	15-20 Holes	Changed Product Group, Product Sub-Group.

SK075	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	3-9 Holes	Changed Product Group, Product Sub-Group.

SK077	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	10-16 Holes	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 168 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK081	Stryker Plating System Small Fragment Set	Waisted compression plate	2-10 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SK082	Stryker Plating System Small Fragment Set	Waisted compression plate	11-20 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SK083	Stryker Plating System Small Fragment Set	Standard compression plate	2-9 Holes	Changed Product Group, Product Sub-Group.

SK084	Stryker Plating System Small Fragment Set	Standard compression plate	10-20 Holes	Changed Product Group, Product Sub-Group.

SK086	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	22-38mm	Changed Product Group, Product Sub-Group.

SK088	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	15-26 Holes	Changed Product Group, Product Sub-Group.

SK091	Duracon Knee System CS Lipped Tibial Insert	Minimally stabilised, CS Lipped tibial insert, deep dish, 	XS,S,M,L,XL Thickness 9,11,13,16,19,22,25mm	Changed Product Name, Description.

UHMWPE, (Duration)	Amended benefit with $60.00 gap.

SK092	Stryker Hydroxyapatite coated cup with ceramic liner	Shell with Biolox forte ceramic liner	44 - 80mm OD	Changed Description.

SK094	Stryker Plating System Small Fragment Set	Calcaneal Plate	70-80mm	Changed Product Group, Product Sub-Group.

SK095	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	40-64mm	Changed Product Group, Product Sub-Group.

SK096	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	65-95mm	Changed Product Group, Product Sub-Group.

SK097	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	100-150mm	Changed Product Group, Product Sub-Group.

SK098	Stryker Plating System Small Fragment Set	Stainless steel, reconstruction plate	10-22 Holes	Changed Product Group, Product Sub-Group.

SK099	Stryker Plating System Small Fragment Set	One Third Tubular Plate with Collar	9-14 Holes	Changed Product Group, Product Sub-Group.

SK100	Stryker Plating System	Small Fragment Plates	T-Plates 2 - 10 hole	Changed Product Group, Product Sub-Group.

SK102	Stryker Plating System Small Fragment Set	Cloverleaf Plate	6-10 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SK103	Stryker Plating System	Cortical bone screws	2.7mm diameter, 22 - 80mm  lengths	Changed Product Group, Product Sub-Group.

SK105	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 10-20mm	Changed Product Group, Product Sub-Group.

SK106	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 22-38mm	Changed Product Group, Product Sub-Group.

SK107	Stryker Plating System	Cortical bone screws	3.5mm diameter, 40 - 150mm lengths	Changed Product Group, Product Sub-Group.

SK110	Stryker Plating System	Compression Plates	2 - 22 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SK117	Leibinger Screws 	Tenxor Kirschner Wires	1.5 - 2.0mm Diameter	Changed Product Group, Product Sub-Group.

SK128	Trident Acetabular Component System	Titanium, arc deposited,  non HA	Shell sizes 42mm - 74mm OD	Changed Description, Product Sub-Group.

SK154	Stryker Cross-Screw	HA/PLLA screw for ligament/tendon fixation	Dia 6mm: Length 40-60mm	Changed Product Group, Product Sub-Group.

SK155	Wedge Interference screw	Threaded PLLA screw with cross pin for 	Dia 7-12mm, Length 20-40mm; pin length standard	Changed Product Group, Product Sub-Group.

ligament/tendon fixation

SK156	GMRS (Global Modular Replacement System) 	GMRS Proximal Tibial component, CoCr, 	Small, Standard	Changed Product Name, Description.

Proximal Tibial Component	uncemented, porous coated, 7 x tendon/suture holes for	Amended benefit.

soft tissue re-attachment, Fixed

SK157	GMRS (Global Modular Replacement System) Distal 	GMRS Distal Femoral component, CoCr, uncemented, 	Small Left 65mm, Small Left 75mm, Small Left 	Changed Product Name, Description.

Femoral Component	Fixed	85mm, Small Left 95mm, Small Right 65mm, Small 	Amended benefit.

Right 75mm, Small Right 85mm, Small Right 95mm,

Standard Left, Standard Right

SK158	Howmedica Modular Resection System	GMRS Proximal Femoral Component, Cast Chrome 	Standard, Trochanteric, Smooth	Changed Product Group, Product Sub-Group.

Cobalt	Amended benefit.

Changed Items for Prostheses List Report	Page 169 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK159	HMRS (Howmedica Modular Replacement System) 	HMRS Plus Curved Anchorage Piece with GMRS 	12, 13, 14, 15, 16, 17, 19mm	Changed Product Name, Description.

Plus Curved Anchorage Stem	locking taper for crossover w/ GMRS system. Offers 	Amended benefit.

small diaphyseal replacement, uncemented, CoCr

(Vitallium), porous coated with lateral flange w/ 3

holes for fixation, Fixed

SK160	HMRS (Howmedica Modular Replacement System) 	HMRS Plus Straight Anchorage Piece with GMRS 	11, 12, 13, 14, 15mm	Changed Product Name, Description, Suffix.

Plus Straight Anchorage Stem	locking taper for crossover w/ GMRS system. Offers 	Amended benefit.

small diaphyseal replacement, uncemented, CoCr

(Vitallium), porous coated with lateral flange w/ 3

holes for fixation

SK161	GMRS (Global Modular Replacement System) 	GMRS Extension Piece, uncemented Titanium, 	30, 40, 50, 60, 70, 80, 100, 120, 140, 160, 180, 200, 	Changed Product Name, Description.

Extension Piece	connects to anchorage piece (optional) for increases 	220mm	Amended benefit.

diaphyseal replacement

SK162	GMRS (Global Modular Replacement System) 	GMRS Connection Piece, uncemented Titanium, to 	Left 80, 90mm; Right 80, 90mm	Changed Product Name, Description.

Connection Piece 	replace varying lengths of diaphyseal bone loss	Amended benefit.

SK165	Howmedica Modular Resection System	GMRS Press fit stems straight	11, 12, 13, 14, 15, 16, 17, 18, 19mm	Changed Product Group, Product Sub-Group.

SK166	GMRS (Global Modular Replacement System) Long 	GMRS Long Bowed Stem,Titanium, with Ti plasma 	200mm stem length in 11, 12, 13, 14, 15, 16, 17, 18, 	Changed Product Name, Description, Size.

Bowed Stem	coating, uncemented, proximal 3cm Hydroxyapatite 	19mm	Amended benefit.

coated (Purefix)

SK167	GMRS (Global Modular Replacement System) Short 	GMRS Short Bowed Stem,Titanium, with Ti plasma 	150mm in: 11, 12, 13, 14, 15, 16, 17, 18, 19mm	Changed Product Name, Description, Size,

Bowed Pressfit Stem	coating, uncemented, proximal 3cm Hydroxyapatite 	Suffix.

coated (Purefix) 	Amended benefit.

SK168	GMRS (Global Modular Replacement System) Straight	GMRS Straight Fluted Stem,Titanium, with Ti plasma 	125mm length in 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 	Changed Product Name, Description, Size.

Fluted Stem	coating, uncemented, proximal 3cm Hydroxyapatite 	19mm	Amended benefit.

coated (Purefix)

SK172	Howmedica Modular Resection System	GMRS Adaptors Male/Female Taper, Titanium/Forged	Male Taper; Female Taper	Changed Product Group, Product Sub-Group.

Cobalt Chrome

SK176	Stryker Cuff Anchor	Bio Zip PLLA anchor for soft tissue ligament/tendon 	Dia 3 - 8mm	Changed Product Group, Product Sub-Group.

fixation

SK177	Stryker Cuff Anchor	Glenoid Titanium anchor kit for soft tissue reattachment	Dia 2 - 3mm	Changed Product Group, Product Sub-Group.

SK181	Simplex Enhancement System	Simplex Express PrePack	2 dose Simplex Antibiotic with Mixevac	Changed Product Group, Product Sub-Group.

SK184	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	1.2cc dowel	Changed Product Group, Product Sub-Group.

SK185	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	15cc morsels	Changed Product Group, Product Sub-Group.

SK186	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	20cc dowel	Changed Product Group, Product Sub-Group.

SK187	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	30cc morsels and 30cc dowels	Changed Product Group, Product Sub-Group.

SK188	VITOSS - Synthetic cancellous bone void filler	Beta-tricalcium phosphate	10cc morsels and 10cc dowels	Changed Product Group, Product Sub-Group.

SK189	CORTOSS - Synthetic cortical bone void filler	-	10cc CORTOSS kit	Changed Product Group, Product Sub-Group.

SK191	VITOSS - Synthetic Cancellous bone void filler	Beta-tricalcium phosphate	5cc morsels	Changed Product Group, Product Sub-Group.

SK196	Exeter Hip System - ETS (endoprosthesis trauma stem)	Orthinox Stainless Steel Endoprosthesis unipolar 	40mm Offset body with monoblock head sizes 38mm, 	Changed Description, Product Sub-Group.

monoblock	40mm, 41mm, 42mm, 43mm, 44mm, 45mm, 46mm,

47mm, 48mm, 49mm, 50mm, 52mm, 54mm, 56mm

SK199	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Nail Left/Right	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 170 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK201	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Proximal Humerous Washer round/square	Changed Product Group, Product Sub-Group.

SK202	Stryker Trauma Locking Nail System	SCN	Diameter 11m - 14mm, Length 170mm - 240mm	Changed Product Group, Product Sub-Group,

Suffix.

SK203	Stryker Trauma Locking Nail System	SCN	Condyle Screws 5mm x (40mm-120mm)	Changed Product Group, Product Sub-Group.

SK204	Stryker Trauma Locking Nail System	SCN	Nut for Condyle Screws 5mm	Changed Product Group, Product Sub-Group.

SK206	Stryker External Fixation System	Hoffmann II Micro	Couplings, Rod to rod, Pin to Rod and Multipin	Changed Product Group, Product Sub-Group.

SK211	Hoffmann II External Fixation System	Hoffmann II Micro	Carbon rods 3mm (30-120mm)	Changed Product Group, Product Sub-Group.

SK212	Hoffmann II External Fixation System	Hoffmann II Micro	Stainless steel rods 3mm x (30-120mm)	Changed Product Group, Product Sub-Group.

SK213	Hoffmann II External Fixation System	Hoffmann II Micro	K-wire	Changed Product Group, Product Sub-Group.

SK214	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Nail Left/Right	Changed Product Group, Product Sub-Group,

Suffix.

SK215	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Lag Screw	Changed Product Group, Product Sub-Group,

Suffix.

SK216	Stryker Trauma Locking Nail System	Reconstruction Nail	Blocking Screw	Changed Product Group, Product Sub-Group,

Suffix.

SK219	Stryker Plating System	Periarticular Plates	2 - 18 holes, 3.5 - 6.5mm Diameter	Changed Product Group, Product Sub-Group,

Suffix.

SK228	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook 50-140mm	Changed Product Group, Product Sub-Group.

SK229	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook Compression Screw 25mm	Changed Product Group, Product Sub-Group.

SK230	Hansson Pin	Cephalic Implants	Hansson Pin 70-140mm	Changed Product Group, Product Sub-Group.

SK243	Gamma LN	Lag Screw - Titanium	10.5mmx70mm - 10.5mmx130mm	Changed Product Group, Product Sub-Group,

Suffix.

SK244	Stryker Intermedullary Hip Screw	Gamma3 Long	120, 125, 130 Deg; Diameter 10-13mm; Length 280-	Changed Product Group, Product Sub-Group,

420mm	Suffix.

SK245	Gamma LN	Locking Screw - Titanium	5x25mm - 5x95mm	Changed Product Group, Product Sub-Group,

Suffix.

SK246	Gamma LN	Standard - Titanium	120, 125, 130 Deg; Diameter 10-12mm; Length 170-	Changed Product Group, Product Sub-Group,

200mm	Suffix.

SK247	Gamma LN	Set Screw - Titanium	8x17.5mm	Changed Product Group, Product Sub-Group.

SK248	Gamma LN	Proximal/Extension Plug - Titanium	0mm, +5mm, +10mm	Changed Product Group, Product Sub-Group.

SK256	TwinFix Cannulated Compression Screw System	Diameter 3.2mm, lengths 14-34mm	Changed Product Group, Product Sub-Group,

Suffix.

SK304	Gamma LN	Anti-rotation screw for Lag Screw - Titanium	+1, +3, +5mm	Changed Product Group, Product Sub-Group.

SK314	Avon Patello Femoral System Patella Component	Patella component, UHMWPE (Duration), Fixed, 	Small, Medium, Large	Changed Product Name, Description, Product

cemented	Group, Product Sub-Group.

Amended benefit.

SK316	Secure Strand Cable System	Bone Reapproximation Cable	Diameter 1.0mm	Changed Product Group, Product Sub-Group.

SK318	X3 Trident Acetabular Inserts	Modified UHMPE	Inner diameters: 22mm, 26mm, 28mm 32mm, 	Changed Product Name, Description.

36mm, 38 - 64mm.  For outer diameter shells 40mm -

Changed Items for Prostheses List Report	Page 171 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK323	Triathlon Knee System Patella Component	Patella Component, Cemented,  Asymmetric & 	Symmetric: 27mm x 8mm, 29mm x 8mm, 31mm x 	Changed Product Name, Description.

Symmetric, (X3) UHMWPE	9mm, 33mm x 9mm, 36mm x 10mm, 39mm x 	Amended benefit.

11mm; Assymetric: 29mm x 9mm, 32mm x 10mm,

35mm x 10mm, 38mm x 11mm, 40mm x 11mm

SK324	Triathlon Knee System Femoral Component	Minimally stabilised, cemented, CoCr	Sizes 1 to 8	Changed Product Name, Description.

Amended benefit with $340.00 gap.

SK325	Triathlon Knee System Femoral Component 	Minimally stabilised, CoCr, uncemented, beaded with 	Sizes 1 to 8	Changed Product Name, Description.

PA (Hydroxyapatite)	Amended benefit with $164.00 gap.

SK326	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded with PA 	Sizes 1 to 8	Changed Product Name, Description.

(Hydroxyapatite), without screw holes, CoCr 	Amended benefit.

SK327	Triathlon Knee System Tibial Baseplate	Tibial baseplate, cemented, CoCr  	Sizes 1 to 8	Changed Product Name, Description.

Amended benefit.

SK328	Triathlon Knee System Tibial Insert	Minimally stabilised, tibial insert, UHMWPE, (N2VAC)	Sizes 1 to 8 (9/11/13/16/19/22/25mm thickness)	Changed Product Name, Description.

Amended benefit with $290.00 gap.

SK329	UNIX Unicompartmental Knee System Tibial 	Uni tibial baseplate, uncemented with Hydroxyapatite,	Sizes 1 to 4	Changed Product Name, Description.

CoCr 	Amended benefit.

SK330	MRS (Modular Replacement System) Femoral Stems	MRS Femoral stems with female taper, Titanium, 	11 x 127mm,    13 x 127mm,    15 x 127mm,    17 x 	Changed Product Name, Description, Size.

uncemented, 	127mm	Amended benefit.

SK331	MRH (Modular Rotating Hinge) Rotating Hinge 	MRH Assembly pack consists of: Tibial sleeve, 	1 Tibial Sleeve, 1  Bumper Insert, 2 Femoral Bushing 	Changed Product Name, Description, Size.

Assembly Pack	Bumper insert & Femoral Bushing components 	Components	Amended benefit.

UHMWPE (Duration)

SK332	Scorpio NRG Knee System Femoral Component 	Minimally stabilised, cemented, CoCr	Sizes 3,4,5,6,7,9,11,13	Changed Product Name, Description.

Amended benefit with $340.00 gap.

SK333	Scorpio NRG Knee System Tibial Insert 	Minimally stabilised tibial insert, UHMPWE (N2VAC)	Sizes 3,4,5,6,7,9,11,13, x (8/10/12/15/18/21/24mm 	Changed Product Name, Description.

thickness)	Amended benefit with $290.00 gap.

SK334	Scorpio NRG Knee System Femoral Component	Minimally stabilised, uncemented, with 	Sizes 3,4,5,6,7,9,11,13	Changed Product Name, Description.

Hydroxyapatite, CoCr	Amended benefit with $164.00 gap.

SK337	Stryker Trauma Locking Nail System	Arthrodesis Nail - Knee	Arthrodesis Nail Left/Right; 11.5mm and 13mm	Changed Product Group, Product Sub-Group,

Suffix.

SK364	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Tibia Kit	Changed Product Group, Product Sub-Group.

SK365	Hoffman II External Fixation System	Hoffman II Sterile Pre-packs	Sterile Ankle Kit	Changed Product Group, Product Sub-Group.

SK366	Universal Distal Radius System	Universal SMARTLook Locking Plates	Standard, Narrow and Wide in Long and short options	Changed Product Group, Product Sub-Group.

SK368	Stryker Plating System	SPS Locking Plate System	Distal Medial and Lateral tibia  3 Holes to 10 Holes left	Changed Product Group, Product Sub-Group,

and right	Suffix.

SK369	Stryker Locking Plate System	Variax Screws and Pegs	1.7 - 3.5mm diameter 10 - 70mm long	Changed Product Group, Product Sub-Group,

Suffix.

SK373	Hoffman II External Fixation system	Hoffman II MRI	Pelvic Clamp	Changed Product Group, Product Sub-Group,

Suffix.

SK374	Hoffman II External Fixation System	Hoffman II MRI	Posts 8mm and 5mm	Changed Product Group, Product Sub-Group.

SK375	Hoffman II External Fixation System	Hoffman II MRI Coupling	Pin to Rod, Rod to Rod, Tube to Rod, Pin Clamp 	Changed Product Group, Product Sub-Group.

Assembly

SK377	Stryker Plating System	SPS Locking Plate System	Distal Femur - 4 holes to 16 holes, Left and Right	Changed Product Group, Product Sub-Group,

Suffix.

SK378	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Pelvic Kit	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 172 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK379	Stryker Plating System	SPS Locking Plate System	Proximal Humerus 3 Holes to 10 Holes Left and Right	Changed Product Group, Product Sub-Group,

Suffix.

SK381	Stryker Plating System	Numelock II Locking Plate System	Distal Humerus, Lateral and Medial, 1 hole to 5 holes	Changed Product Group, Product Sub-Group,

Suffix.

SK383	Stryker Plating System	SPS Locking Plate System	Proximal Tibia, Lateral and Medial, 4 hole to 12 holes, 	Changed Product Group, Product Sub-Group,

left and right	Suffix.

SK386	Triathlon Knee System Femoral Component	Posterior stabilised, uncemented, beaded, CoCr	Sizes 1 to 8	Changed Product Name, Description.

Amended benefit with $152.00 gap.

SK387	Triathlon Knee System Femoral Component 	Minimally stabilised, uncemented, beaded, CoCr	1 to 8	Changed Product Name, Description.

Amended benefit with $252.00 gap.

SK388	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded, CoCr	Sizes 1 to 8	Changed Product Name, Description.

Amended benefit with $352.00 gap.

SK390	Hoffman II External Fixation System	Hoffman II MRI	Compression/Dystraction Tube, Dynamisation Tube	Changed Product Group, Product Sub-Group.

SK391	Leibinger Universal Distal radius System	Universal Distal Radius SMARTLock Column Locking 	Radial Column - Long and Short; Ulna Column - Long 	Changed Product Group, Product Sub-Group.

Plates	and Short, Left and Right

SK392	Stryker Locking Plate System	Svariax  Screws & Pegs	1.7mm - 3.5mm diameter 10mm - 50mm long	Changed Product Group, Product Sub-Group.

SK393	Hoffman II External Fixation System	Hoffman II MRI	8mm Connecting rod (100mm - 500mm), 5mm 	Changed Product Group, Product Sub-Group.

Connecting rod (100mm - 500mm), Semi Circular

Curve Rod

SK395	Stryker Plating System	SPS Locking Plate System	Locking Screws:  3.0mm - 6.5mm diameter	Changed Product Group, Product Sub-Group,

Suffix.

SK396	Hoffman II External Fixation System	Hoffman II Compact Sterile Pre-Packs	Sterile Wrist Kit	Changed Product Group, Product Sub-Group.

SK398	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	100mm - 200mm	Changed Product Group, Product Sub-Group.

SK399	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	110mm - 210mm	Changed Product Group, Product Sub-Group.

SK400	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Stainless Steel 	Small, Medium and Large	Changed Product Group, Product Sub-Group,

Cables	Suffix.

SK401	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Chrome Cobalt 	Small, Medium and Large	Changed Product Group, Product Sub-Group,

Cables	Suffix.

SK402	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 Cables	100mm - 200mm	Changed Product Group, Product Sub-Group,

Suffix.

SK403	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 Cables	110mm - 210mm	Changed Product Group, Product Sub-Group,

Suffix.

SK404	Stryker large ceramic femoral head 	Alumina Femoral Head	38mm-60mm	Changed Product Name.

SK410	Scorpio Knee System Tibial Insert 	Totally constrained tibial insert, with metal post, 	3 - 11 mm 7F/5T, 5F/7T, 11F/9T, 9F/11T10mm-24mm	Changed Product Name, Description, Size,

UHMWPE (N2VAC)	Suffix.

Amended benefit with $310.00 gap.

SK415	Scorpio Knee System Patella Component	Patella Component, Inset, Recessed, Medialized dome,	Concentric & Medialized Dome patella sizes: 5, 7, 9 & 	Compressed from SK415, SK411, SK412,

Universal Dome, Concentric Dome, UHMWPE (X3),	11; Universal Dome patella sizes: 3, 5, 7, 9 & 11; Inset 	SK413, SK414.

Fixed, Cemented	& Recessed patella sizes: 26, 28, 30 and 32mm

SK419	Triathlon Knee System Patella Component	Patella Component, Cemented,  Asymmetric, (X3) 	29 (X3)3 x 9mm, 32 x 36 x 10mm, 35 x 39 x 10mm, 	Compressed from SK419, SK418.

UHMWPE	38 x 42x 11mm, 40 x 44 x 11mm

SK427	Solar Reunion Humeral Fracture System	Solar Reunion Humeral Fracture System	Short & Long	Changed Product Group, Product Sub-Group.

SK428	Trident Tritanium Acetabular Shells	Acetabular Shell, tritanium	46mm - 80mm	Changed Description.

Changed Items for Prostheses List Report	Page 173 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK429	Trident Tritanium Acetabular Shells (PA coated)	Acetabular Shell, HA Coating, tritanium	46mm - 80mm	Changed Product Name, Description.

SK431	Triathlon Knee System CS Lipped Insert	Minimally stabilised, CS Lipped tibial insert deep dish, 	Sizes 1-8 _small - large) size increments, 9mm, 	Changed Product Name, Description.

UHMWPE (N2VAC) 	11mm, 13mm, 16mm, 19mm, 22mm, 25mm	Amended benefit with $290.00 gap.

SK432	Triathlon Knee System CS Lipped Tibial Insert	Minimally stabilised, CS Lipped tibial insert deep dish, 	Sizes 1-8 _small - large) size increments, 9mm, 	Changed Product Name, Description.

UHMWPE, (X3)	11mm, 13mm, 16mm, 19mm, 22mm, 25mm	Amended benefit with $290.00 gap.

SK433	Triathlon Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded with PA 	1-8	Changed Product Name, Description.

(Hydroxyapatite), with screw holes, CoCr	Amended benefit.

SK434	Triathlon Knee System TS Titanium stem	Stem, Titanium, uncemented	10-25 (100mm) 10-25 (150mm)	Changed Product Name, Description.

Amended benefit.

SK435	Triathlon Knee System Tibial / Femoral Offset 	Tibial & femral offset adaptor, CoCr	2,4,6,8mm	Changed Product Name, Description.

Amended benefit with $650.00 gap.

SK438	Triathlon TS Knee System Tibial Insert 	Totally constrained, TS (Total Stabilizer) Insert, with 	Tibial Insert Sizes: Left & right 9-31mm sizes 1-8	Changed Product Name, Description, Size,

metal post, UHMWPE (X3)	Reinforced Post Sizes 9-31mm	Product Sub-Group, Suffix.

Amended benefit with $180.00 gap.

SK439	Triathlon Knee System Tibial Insert 	Totally constrained tibial insert, with metal post, +/- 2° 	Tibial Insert Sizes: Left & right 9-31mm sizes 1-8	Changed Product Name, Description, Suffix.

int/ext rotation, UHMWPE (X3)	Reinforced Post Sizes 9-31mm	Amended benefit with $310.00 gap.

SK440	Triathlon TS Knee System Femoral Component 	Totally constrained, cemented, CoCr	Left & Right Size 1-8	Changed Product Name, Description.

Amended benefit.

SK441	Triathlon Knee System Femoral Augments	Femoral blocks distal & posterior, CoCr, mechanical 	Left & Right 5mm size 1-810mm size 1-815mm 	Changed Product Name, Description, Size.

attachment	size 1-8	Amended benefit with $317.00 gap.

SK442	Triathlon Knee System Stem Extender	Stem extender, cemented, CoCr 	25mm & 50mm	Changed Product Name, Description.

Amended benefit with $288.00 gap.

SK444	ABG II Modular Hip System	Neck for the ABGII  stem  	Long & Short	Changed Description.

SK445	Rejuvinate SPT Femoral Hip System	Titanium (TMZF), plasma, HA with removable neck	7-12	Changed Description.

SK446	Rejuvinate SPT Femoral Hip System	Neck for Rejuvinate SPT Stem 	30-38mm	Changed Description.

SK447	Rejuvinate SPT (Monolithic Stems, TMZF) Hip 	Titanium (TMZF), plasma coated, HA	4-12	Changed Product Name, Description.

SK449	Stryker Plating System	Locking Compression Straight Plates Stainless Steel	2 Hole to 22 Hole	Changed Description, Product Group, Product

Sub-Group.

SK450	T2 Ankle Arthrodesis Nail	T2 Ankle Arthrodesis Type II Anodized Titanium 	10, 11, 12mm Diameters & 150,200 & 300mm Lengths	Changed Product Group, Product Sub-Group,

Alloy (Ti6A14V)	Suffix.

SK451	XCEL Anchor	Bio-absorbable Suture Anchor	2mm-10mm	Changed Product Group, Product Sub-Group,

Suffix.

SK452	Stryker Plating System	Self-Tapping/Cortical Sterile ScrewsStainless Steel or	2.7mm - 4.5mm Diameter8mm - 150mm Length	Changed Description, Size, Product Group,

Titanium Alloy	Product Sub-Group.

SK454	VariAx Plate	Volar Plate, Polyaxial Locking	Narrow & Standard; Short & Long; Right & Left	Changed Product Group, Product Sub-Group.

SK456	Ligature Wire	Titanium or Stainless Steel	Diameter 0.25 -2.0mm, Length 1- 400mm	Changed Product Group, Product Sub-Group.

SK458	Simplex P Speed Set Bone Cement	PMMA Bone Cement	40g pack	Changed Product Group, Product Sub-Group.

SK462	Stryker Compression Hip Screw System	Omega3 compression Hip screw	130-150 degree, 2-12 gike, 47-207 mm	Changed Product Group, Product Sub-Group.

SK463	Stryker Compression Hip Screw System	Omega3 Supracondylar Plate	95 hole, 6-14 hole, 111-239mm	Changed Product Group, Product Sub-Group.

SK464	Stryker Locking Plate System	Screw; Locking, Cancellous & Cortical	Diameter 1.2 to 2.7mm, Length 2mm to 48mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 174 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK465	Stryker Intermedullay Nailing System	T2 Retrograde/Antegrade/Compression Nails	7-15mmDiameter, 140 to 480mm lengths	Changed Product Group, Product Sub-Group,

Suffix.

SK466	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	5cc Foam strip (25x50x4)	Changed Product Group, Product Sub-Group.

Cancellous Boane Void Filler	tricalcium phosphate (β-TCP) and Type I bovine

collagen.

SK467	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	10cc Foam strip (25x100x4)	Changed Product Group, Product Sub-Group.

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine

collagen.

SK468	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	10cc Foam strip (25x50x8)	Changed Product Group, Product Sub-Group.

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine

collagen.

SK469	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	20cc Foam strip (25x100x8)	Changed Product Group, Product Sub-Group.

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine

collagen.

SK470	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Small Cup 52mm Diameter	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen.

SK471	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Large Cup 56mm Diameter	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen.

SK472	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Small Cylinders Diameter 10x30mm 4.8cc/pair (2)	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen

SK473	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Medium Cylinders Diameter 12x30mm 6.8cc/pair (2)	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen.

SK474	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Large Cylinders Diameter 14x30mm 9.2cc/pair (2)	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen.

SK475	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	Sheet (Wide Strip) 75x100x4mm	Changed Product Group, Product Sub-Group.

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine

collagen.

SK476	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	1.2cc Foam Pack	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen

SK477	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	2.5cc Foam Pack	Changed Product Group, Product Sub-Group,

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine 	Suffix.

collagen

SK478	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	5cc Foam Pack	Changed Product Group, Product Sub-Group.

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine

collagen.

SK479	VITOSS Foam - Compression Resistant Synthetic 	Highly porous bone graft material made from beta-	10cc Foam Pack	Changed Product Group, Product Sub-Group.

Cancellous Bone Void Filler.	tricalcium phosphate (β-TCP) and Type I bovine

collagen

SK480	HydroSet Injectable Calcium Phosphate Cement	Injectable, rapid set, calcium phosphate bone substitute	5cc	Changed Product Group, Product Sub-Group.

kit

Changed Items for Prostheses List Report	Page 175 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SK481	HydroSet injectable Calcium Phosphate Cement	Injectable, rapid set, calcium phosphate bone substitute	15cc	Changed Product Group, Product Sub-Group.

kit

SR002	Triathlon Knee System Tibial Insert 	Posterior stabilised insert, UHMWPE,(N2VAC) 	Sizes 1 to 8 (9/11/13/16/19/22/25mm thickness)	Changed Product Name, Description.

Amended benefit with $230.00 gap.

SR003	Scorpio NRG Knee System Femoral Component 	Posterior stabilised, cemented, CoCr	Sizes 3,4,5,6,7,9,11,13	Changed Product Name, Description.

Amended benefit with $240.00 gap.

SR004	Scorpio NRG Knee System Femoral Component	Posterior stabilised, uncemented with Hydroxyapatite, 	Sizes 3,4,5,6,7,9,11,13	Changed Product Name, Description.

CoCr, 	Amended benefit.

SR006	Scorpio Knee System Femoral Component	Posterior stabilised, uncemented, beaded 	3,5,7,9,11,13	Changed Product Name, Description.

(microstructure) with PA (Hydroxyapatite), CoCr	Amended benefit.

SR007	Scorpio Knee System Femoral Component	Posterior stabilised, CoCr, uncemented, beaded, 	3,5,7,9,11,13	Changed Product Name, Description.

(microstructured), with TiNi surface treatment (LFIT -	Amended benefit.

Low friction ion treatment)

SR008	Scorpio Knee System Tibial Insert	Posterior stabilised tibial insert, UHMWPE (N2VAC)	8-18mm in 2mm increments	Changed Product Name, Description.

Amended benefit.

SR009	Triathlon Knee System Femoral Component 	Posterior stabilised, cemented, CoCr, with ability to 	Sizes 1 to 8	Changed Product Name, Description.

add lugs or augments 	Amended benefit with $240.00 gap.

SR012	Scorpio NRG Knee System Tibial Insert 	Posterior stabilised tibial insert, UHMWPE, (N2VAC)	Sizes 3,4,5,6,7,9,11,13, x (8/10/12/15/18/21/24mm 	Changed Product Name, Description.

thickness)	Amended benefit with $230.00 gap.

SR013	Scorpio Knee System Tibial Insert	Posterior stabilised mobile bearing insert,  UHMWPE 	10,12,15,18, 21mm thickness; sizews 3,5,7,9,11,13	Changed Product Name, Description, Size.

(N2VAC)	Amended benefit with $100.00 gap.

SR017	Omnifit hip system	OMNIFIT cemented femoral component - cobalt 	Stem sizes 4-11	Changed Description.

chrome

SR019	Scorpio Knee System  Femoral Component 	Posterior stabilised, cemented, CoCr 	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

Amended benefit.

SR020	S7000 Tibial Insert 	Posterior stabilised tibial insert, UHMWPE, (N2VAC), 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 21,24mm	Changed Product Name, Description.

used for series 7000 revisions 	Amended benefit.

SR024	Triathlon Knee System Femoral Component	Posterior stabilised, uncemented, beaded with PA 	Size 1 - 8	Changed Product Name, Description.

(Hydroxyapatite), CoCr  	Amended benefit.

SR025	Stryker large femoral head 	CoCr with LFIT treatment	36mm	Changed Product Name, Product Sub-Group.

SR026	Stryker CoCr Femoral Head	Cobal Chrome with LFIT Treatment	22-32mm	Changed Description.

SR027	Accolade HFx	CoCr,plasma not HA 	Stem sizes 1-8, 127 degree neck	Changed Description.

SR028	Stryker Delta Ceramic Heads	Femoral Head - Delta Ceramic 	<32mm	Changed Product Name, Description.

SR029	Stryker Large Femoral Head - Delta Ceramic 	Delta Ceramic 	36mm - 50mm	Changed Product Name, Description.

SR030	Triathlon Knee System Tibial Baseplate 	Mobile bearing, tibial baseplate, cemented, CoCr  	1 to 8	Changed Product Name, Description.

Amended benefit with $400.00 gap.

SR031	Triathlon Knee System Tibial Insert 	Minimally stabilised, mobile bearing tibial insert, 	1 to 8, 9mm to 19mm	Changed Product Name, Description.

UHMWPE (N2VAC)	Amended benefit with $210.00 gap.

SR032	Triathlon Knee System Tibial Insert	Posterior stabilised mobile bearing insert, UHMWPE 	1 to 8, 9mm to 22mm	Changed Product Name, Description.

(N2VAC)	Amended benefit with $150.00 gap.

SR033	Triathlon Knee System Tibial Insert 	Minimally constrained, CS Lipped Tibial insert, deep 	1 to 8, 9mm to 22mm	Changed Product Name, Description, Product

dished (CS) UHMWPE, N2VAC, mobile bearing	Sub-Group.

Amended benefit with $210.00 gap.

Changed Items for Prostheses List Report	Page 176 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SR034	Triathlon TS Knee System Tibial Baseplate 	Tibial baseplate, stemmed revision, cemented, CoCr	1 to 8	Changed Product Name, Description.

Amended benefit.

SR035	Triathlon Knee System TS stem	Tibial stem, Titanium, cemented	9x50mm, 9x100mm, 9x150mm, 12x50mm, 	Changed Product Name, Description.

12x100mm, 12x150mm, 15x50mm, 15x100mm, 	Amended benefit with $342.00 gap.

15x150mm

SR036	Triathlon Knee System Hemi Augments	Half (hemi) tibial blocks, CoCr, mechanical 	LM/RL & LL/RM, 1 to 8, 5mm and 10mm	Changed Product Name, Description, Size.

Amended benefit.

SR037	Triathlon Knee System Femoral Distal Fixation Peg	Modular Femoral Distal Fixation Peg CoCr	one size	Changed Product Name, Description.

Amended benefit.

SR040	Universal Quick Flap System	Sterile pack containing 3 x Titanium 2 hole plates, 6 x 	.	Changed Product Group, Product Sub-Group,

Viper self drilling 1.5 x 4mm screws	Suffix.

SR041	Universal Quik Flap System	Sterile pack containing, 3 x Titanium 2 hole Plates, 6 x 	.	Changed Product Group, Product Sub-Group,

self-tapping screws 1.5 x 4mm	Suffix.

SR044	Mitch Hip System	Titanium, plasma spray, HA	44mm - 66mm	Changed Description.

SR047	Calstrux	Porous tri-calcium phosphate granules and 	5cc	Changed Product Group, Product Sub-Group,

carboxymethylcellulose, sodium (CMC) putty additive	Suffix.

SR048	Calstrux	Porous tri-calcium phosphategranules and 	10cc	Changed Product Group, Product Sub-Group,

carboxymethylcellulose, sodium (CMC) putty additive	Suffix.

SR049	Calstrux	Porous tri-calcium phosphate granules and 	15cc	Changed Product Group, Product Sub-Group,

carboxymethylcellulose, sodiu, (CMC) putty additive	Suffix.

SR051	Mitch Hip System	 Femoral Head Metal on Metal	38mm - 60mm	Changed Description.

SR052	Freedom PKR / Active Unicompartmental Knee 	Uni Femoral component, cemented with hydroglaze 	All sizes for Femoral Component	Changed Product Name, Description.

System Femoral Component 	(Electro-polished surface), CoCr	Amended benefit.

SR053	Freedom PKR / Active Unicompartmental Knee 	Uni tibial baseplate, cemented, all UHMWPE	Sizes A to J	Changed Product Name, Description.

System Tibial Baseplate 	Amended benefit with $180.00 gap.

SR054	HydroSet Injectable Calcium Phosphate	Injectable, rapid set, calcium phosphate bone substitute	10cc	Changed Product Group, Product Sub-Group.

kit

SR055	Stryker Locking Plate System	Plates including Locking, Standard & Compression	Straight, Curved, L, T, Y & 3-D	Changed Product Group, Product Sub-Group.

SR056	Hipstar™ TMZF® Hip Stem	Titanium, grit blast and HA	Size 0 through to 12	Changed Description.

SR058	Stryker Cannulated Screw System	Asnis Micro Cannulated screw	2.0mm-3.0mm, Diameters, 8mm-40mm lengths	Changed Product Group, Product Sub-Group,

Suffix.

SR059	Mitch PER Hip System	Proximal Epihyseal Replacement 	38 - 60mm	Changed Product Name, Description.

SR060	Scorpio Knee System Femoral Component	Totally constrained, CoCr with TiNi surface treatment 	3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 Right, 9 Left, 9	Changed Product Name, Description, Product

(LFIT - Low Friction Ion Treatment)	 Right, 11 Left, 11 Right, 13 Left, 13 Right	Sub-Group, Suffix.

Amended benefit with $1,030.00 gap.

SR061	HydroSet Injectable Calcium Phosphate Cement	Injectable, rapid set, calcium phosphate bone substitute	3cc	Changed Product Group, Product Sub-Group,

kit	Suffix.

SR062	ABGll Modular Stem	Titanium (TMZF), plasma, HA with removable neck	1-8 (left and right)	Changed Description.

SR063	Scorpio Knee System Femoral Component 	Minimally stabilised, cemented, CoCr with TiNi 	3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 Right, 9 Left, 9	Changed Product Name, Description.

surface treatment (LFIT - Low friction ion treatment)	 Right, 11 Left, 11 Right, 13 Left, 13 Right	Amended benefit with $340.00 gap.

SR067	Anatomic X3 Liners	Anatomic X3 Liner with constraint	36mm, 40mm, 44mm, 48mm and 52mm	Changed Description.

ST001	Restoration T3 Revision Hip System - Proximal body	Titanium femoral body, grit blast, non HA	S,M,L	Changed Product Name, Description.

ST003	Stryker Plating System Screws - Cortical 2.7 & 3.5	Stainless Steel/Titanium	Diameter 2.7mm, screw length 8-20mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 177 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST004	Stryker Plating System Screws - Cortical 4.5mm	Titanium or Stainless Steel	10-20mm	Changed Product Group, Product Sub-Group.

ST005	Stryker Plating System Screws - Cancellous	6.5mm Stainless Steel or Titanium	20-50mm	Changed Product Group, Product Sub-Group.

ST006	Stryker Plating System Screws - Cancellous 4.0mm	Stainless Steel or Titanium, Full or Partial Thread	10-60mm Screw Length	Changed Product Group, Product Sub-Group.

ST007	Stryker Plating System - K Wires	Stainless Steel or Titanium	150mm length in 1.25, 1.6, 2.0mm diameter	Changed Product Group, Product Sub-Group.

ST008	Stryker Plating System Small & Basic Fragment - 	Narrow or Broad	2-20 holes, 26-260mm plate length	Changed Product Group, Product Sub-Group,

Compression Plate	Suffix.

ST011	Stryker Modular Hip System	Conical distal stems titanium, grit blasted	Length 155mm, Diameter 14 - 28mm	Changed Description.

ST013	Trident Crossfire All Polyethelene Cup	UHMPE modified 	40-64mm(Outer Diameter)	Changed Product Name, Description.

ST017	Stryker Plating System Small & Basic Fragment - 	Stainless Steel or Titanium	50-60mm	Changed Product Group, Product Sub-Group.

Calcaneal Plate

ST018	Scorpio Knee System Femoral & Tibial Augment	Femoral & tibial blocks distal, posterior and full, CoCr, 	5mm & 10mm for all sizes of femur and tibia. 5 	Changed Product Name, Description.

cemented	degrees for all tibia sizes	Amended benefit.

ST021	Stryker Bone Substitute	Bonesave, Calcium Phosphate	40gms, sizes 2 - 4 and  4-6mm	Changed Product Group, Product Sub-Group.

ST024	Scorpio Knee System Tibial Insert	Totally constrained tibial insert, with metal post, 	8-24mm for all tibia sizes	Changed Product Name, Description, Suffix.

UHMWPE (X3)	Amended benefit with $310.00 gap.

ST025	Stryker Plating System Small Fragment Set	Stainless Steel	4-9 Holes	Changed Product Group, Product Sub-Group.

ST027	Solar - Dual Offset Humeral Head	Cobalt Chrome	40-50mm diameter, 15-21mm thickness	Changed Product Group, Product Sub-Group.

ST029	Scorpio Knee System Tibial Baseplate	Tibial baseplate, uncemented, beaded 	3,5,7,9,11,13	Changed Product Name, Description.

(microstructure), CoCr 	Amended benefit.

ST030	Scorpio Knee System Femoral Component	Minimally stabilised, uncemented, beaded 	3,5,7,9,11,13	Changed Product Name, Description.

(microstructure) with PA, (Hydroxyapatite), CoCr, 	Amended benefit.

ST031	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, uncemented, beaded (microstructure)	3,5,7,9,11,13	Changed Product Name, Description.

with PA (Hydroxyapatite), ability to add screws, 	Amended benefit.

ST032	Scorpio Knee System Tibial Insert	Minimally stabilised, mobile bearing tibial insert, 	8-24mm for all tibia sizes	Changed Product Name, Description.

UHMWPE (N2VAC)	Amended benefit with $160.00 gap.

ST033	Scorpio Knee System Femoral Component	Minimally stabilised, uncemented, beaded, 	3,5,7,9,11,13	Changed Product Name, Description.

(microstructure), CoCr	Amended benefit.

ST034	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, cemented, ability to attach stems, 	3,5,7,9,11,13	Changed Product Name, Description.

CoCr  	Amended benefit.

ST035	Stryker Trauma Locking Nail System: Compression 	Titanium	One size only	Changed Product Group, Product Sub-Group.

Screw

ST036	Stryker Plating System Small & Basic Fragment - T 	Oblique T Plate or T Plate, Stainless Steel or Titanium, 	42-86mm Length	Changed Product Group, Product Sub-Group.

Plate	Oblique

ST037	Stryker Plating System SmallFragment Set	One Third Tubular Plate with Collar	2-8 Holes	Changed Product Group, Product Sub-Group.

ST038	Stryker Plating System -  Reduction Pin	4.5mm Diameter, Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

ST039	Stryker Plating System Small & Basic Fragment - L 	Stainless Steel or Titanium, Left or Right	3-20 Holes, 67-339mm Plate Length	Changed Product Group, Product Sub-Group.

Plate

ST040	Stryker Plating System - Washers & Nuts	Stainless Steel or Titanium	Nuts 5.0 or 4.5mm thickness; Washers 7 - 13mm 	Changed Product Group, Product Sub-Group.

diameter

ST041	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	6-14 holes	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 178 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST043	Stryker Trauma Locking Nail System: Locking Screw 	Titanium	20-120mm	Changed Product Group, Product Sub-Group,

with & without shaft	Suffix.

ST045	Stryker Trauma Locking Nail System: End Cap	Titanium	Standard, +5, +10, +15	Changed Product Group, Product Sub-Group.

ST046	Stryker Trauma Locking Nail System: Tibial Nail	Standard, Proximal & Distal; Titanium	8-15mm diameter; 240-420mm length	Changed Product Group, Product Sub-Group,

Suffix.

ST047	Stryker Trauma Locking Nail System: Condyle Screw 	Titanium	One size only	Changed Product Group, Product Sub-Group.

(including nut)

ST051	Stryker Plating System Small Fragment Set	Cloverleaf Plate	3-5 Holes	Changed Product Group, Product Sub-Group,

Suffix.

ST054	EIUS Unicompartmental Knee System Tibial 	Uni tibial baseplate, cemented, all UHMWPE, 	XS, S, M, L, XL	Changed Product Name, Description.

(N2VAC)	Amended benefit.

ST055	EIUS Unicompartmental Knee System Femoral 	Uni Femoral component, cemented, CoCr	XS, S, M, L, XL	Changed Product Name, Description.

Component	Amended benefit.

ST059	Stryker Trauma Locking Nail System: Femoral Nail	Titanium	13-15mm diameter; 240-480mm length	Changed Product Group, Product Sub-Group,

Suffix.

ST062	Auto Pilot 1.7mm Quik Flap System	Kit contains three titanium 2 hole plates, and 6 titanium	2 hole plate. 4mm length screw	Changed Product Group, Product Sub-Group,

alloy bone screws	Suffix.

ST065	Cross Slot 2.0mm Quik Flap System	Kit contains three titanium 2-hole plates and six 	2 hole plate. 4.0mm length screw	Changed Product Group, Product Sub-Group,

titanium low profile bone screws	Suffix.

ST066	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, cemented, CoCr 	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

Amended benefit.

ST067	Scorpio Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, uncemented, beaded 	3, 5, 7, 9, 11, 13	Changed Product Name, Description, Product

(microstructure) with PA (Hydroxyapatite), CoCr	Sub-Group.

Amended benefit.

ST069	Scorpio Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, cemented, CoCr	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

Amended benefit.

ST539	Constrained acetabular insert 	UHMPE & cobalt chrome bipolar constrained insert	22, 26, 28, 32mm dia	Changed Description.

ST541	Secur-Fit Plus max hip system	Titanium, plasma, HA 	Stem sizes 7-14	Changed Description, Product Sub-Group.

ST545	Osteonics hip prostheses 	Cancellous bone screw, Titanium	6.5mm & 5.5mm dia	Changed Product Group, Product Sub-Group.

ST546	Stryker Acetabular Crossfire Insert	Modified UHMPE	22 -36mm  ID	Changed Product Name, Description.

ST547	Restoration acetabular gap ring 	Acetabular reconstruction cage  	48-72mm OD in 2mm increments	Changed Description, Product Sub-Group.

ST548	Trident acetabular component system 	Titanium, arc deposited,  with HA	40-74mm OD in 2mm increments	Changed Description, Product Sub-Group.

ST552	Osteonics hip prostheses	All poly cup polyethylene unmodified 	OD: 46-61mm.  ID: 22, 26, 28, 32mm	Changed Description.

ST554	Stryker Securfit HA Coated Shell	Titanium, arc deposited,  with HA	40 - 80mm	Changed Description, Product Sub-Group.

ST557	Restoration  gap cup II acetabular cage	Acetabular reconstruction cage with extended plates 	48-72mm OD in 2mm increments 	Changed Product Name, Description, Product

Sub-Group.

ST561	Strker Omnifit/SecurFit Acetabular Insert	Series I and II inserts, UHMPE	22 - 36mm ID for cups 40 - 80mm OD	Changed Description.

ST566	Osteonics hip prostheses	Bipolar shell and polyethylene insert (factory 	ID 22, 26, 28, 32mm dia 	Changed Description.

Assembled)

ST569	Head Taper Insert	Neck extention, vitallium alloy	-4 TO +12mm	Changed Product Name, Product Sub-Group.

ST570	UNITRAX	Vitallium alloy /CoCr	38-64mm OD 2mm increments	Changed Product Name, Description.

Changed Items for Prostheses List Report	Page 179 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST573	Omnifit hip stem	Titanium, grit blast and HA	Stem sizes 4-14	Changed Description.

ST574	secur-fit HA Max hip stem	Titanium, plasma coated, HA	Stem sizes 4-14 in 127 and 132 degree neck angles	Changed Description.

ST575	ACCOLADE hip prostheses	Titanium, plasma coated, HA	Stems sizes 0, 1, 2, 2.5,3, 3.5, 4, 4.5, 5, 5.5, 6, 7, 8	Changed Product Name, Description.

ST576	Stryker Omnifit Cemented Stem	Cemented  femoral component Cobal Chrome 	Stem sizes 4-11	Changed Description.

ST584	Osteonics omnifit cemented long stem	cobalt chrome unpolished long 	Stem sizes  5-11, stem length 200, 250 AND 300mm	Changed Description.

ST586	Osteonics omnifit head/neck hip stem 	Cobal Chrome, Unpolished, standard and long with 	Stem sizes  5, 7 & 9	Changed Description.

calcar

ST587	Osteonics hip prostheses	Restoration stem - 155mm  titanium - HA coated	155mm length - stem sizes 7-12	Changed Product Sub-Group.

ST600	Avon Patello Femoral System Femoral Component	Trochlear component, CoCr (Vitallium), cemented	Extra Small, Small, Medium, Large	Changed Product Name, Description.

Amended benefit with $219.00 gap.

ST601	Duracon TS Knee System Tibial Insert	Totally constrained tibial insert, with metal post, 	Extra Small, Small, Medium, Medium Large, Large, 	Changed Product Name, Description, Suffix.

UHMWPE (Duration)	Extra Large	Amended benefit with $310.00 gap.

ST602	Duracon TS Knee System Femoral Component	Totally constrained, cemented, CoCr (Vitallium)	Extra Small, Small, Medium, Medium Large, Large, 	Changed Product Name, Description.

Extra Large	Amended benefit.

ST603	Duracon Knee System Tibial / Femoral Offset 	Tibial / Femoral Offset Adaptor, CoCr, (Vitallium)	2mm, 4mm, 6mm, 8mm	Changed Product Name, Description, Size.

Amended benefit.

ST604	Duracon Knee System Tibial Augments 	Tibial Augments Half (hemi) wedge (angled) & Half 	LM/RL & LL/RM in 5mm, 10mm thicknesses	Changed Product Name, Description, Size.

(hemi) block (flat), CoCr (Vitallium), cemented	Amended benefit.

ST606	Duracon Knee System Tibial & Femoral stem	Stem, femoral & tibial, titanium, cemented	10mm-19mm, 21mm, 23mm in 80mm and 155mm 	Changed Product Name, Description.

lengths	Amended benefit with $208.00 gap.

ST608	Scorpio Knee System Tibial Insert	Minimally stabilised tibial insert, UHMWPE (N2VAC)	8-18mm in 2mm increments	Changed Product Name, Description.

Amended benefit with $60.00 gap.

ST609	Scorpio Knee System Patella Component	Patella component, Metal backed, CoCr, uncemented, 	26-32mm in 2mm increments 10mm thick	Changed Product Name, Description, Product

beaded, moulded polyethylene (N2VAC) 	Sub-Group.

Amended benefit.

ST634	Scorpio Knee System Femoral Component 	Minimally stabilised, cemented, CoCr	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

Amended benefit with $100.00 gap.

ST636	Scorpio Knee System & S7000 Knee System Patella 	Patella component, Inlay, UHMWPE (N2VAC), 	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

Component	cemented	Amended benefit.

ST643	S7000 Knee System Tibial Insert 	Minimally stabilised tibial insert, UHMWPE 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 21,24mm	Changed Product Name, Description.

(N2VAC), used for Series 7000 Minimally stabilised 	Amended benefit with $60.00 gap.

tibial insert revisions

ST644	S7000 Tibial Insert series I	Posterior stabilised tibial insert, Series II, UHMWPE 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 21,24mm	Changed Product Name, Description.

(N2VAC)	Amended benefit.

ST646	S7000 Tibial Insert, series II	Tibial Insert posterior stabilised - PSII UHMWPE	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 21,24mm	Compressed from ST646, ST645.

ST647	Scorpio Knee System Tibial Baseplate 	Tibial baseplate, All UHMWPE, cemented 	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

Amended benefit.

ST648	Scorpio Knee System & S7000 Tibial Baseplate 	Tibial baseplate, uncemented, with Hydroxyapatite, 	3, 5, 7, 9, 11, 13	Changed Product Name, Description.

CoCr	Amended benefit.

ST655	UNIX Unicompartmental Knee System Femoral 	Uni Femoral component, uncemented with 	1, 2, 3, 4	Changed Product Name, Description.

Component	Hydroxyapatite, CoCr	Amended benefit.

ST656	UNIX Unicompartmental Knee System Tibial Insert	Uni tibial insert, UHMWPE, Fixed	1, 2, 3, 4 in 8, 10, 12, 15mm	Changed Product Name, Description.

Amended benefit with $666.00 gap.

Changed Items for Prostheses List Report	Page 180 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST658	Series 7000 Knee System Femoral & Tibial Augments	Series 7000, femoral & tibial blocks, CoCr, cemented	3, 5, 7, 9, 11, 13 in 4mm, 8mm, 10 degree and 20 	Changed Product Name, Description.

degree	Amended benefit.

ST672	Osteonics Solar Shoulder Prostheses 	Humeral head polyethylene	40-55mm by 12-34mm	Changed Product Group, Product Sub-Group.

ST673	Osteonics Solar Shoulder Prostheses	Dual offset humeral head polyethylene	40,45,50mm Diameter by 15, 18, 21mm Thickness	Changed Product Group, Product Sub-Group.

ST674	Osteonics Solar Shoulder Prostheses 	Humeral stem polyethylene	3,5,7,9,11	Changed Product Group, Product Sub-Group.

ST675	Osteonics Solar Shoulder Prostheses 	Glenoid component polyethylene	5,7,9,11	Changed Product Group, Product Sub-Group.

ST676	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral inner head, cobalt chromium	22mm with 0, +2 and +4mm neck lengths	Changed Product Group, Product Sub-Group.

ST715	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 4 hole	Changed Product Group, Product Sub-Group.

fixation straight plate, titanium

ST716	Leibinger Titanium Implant System	Leibinger profyle hand & small fragment system, 	1.2mm system, 16 hole	Changed Product Group, Product Sub-Group.

fixation straight plate, titanium

ST717	Leibinger Titanium Implant System	Hand System, Bone Plate, T-Shape	1.2mm, 5 holes	Changed Product Group, Product Sub-Group.

ST719	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 5 holes	Changed Product Group, Product Sub-Group.

fixation plate, Y-shape, narrow, titanium

ST720	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 2x2 holes	Changed Product Group, Product Sub-Group,

fixation plate, 3D plate, titanium	Suffix.

ST721	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 3x2 holes, 2x2 + 2 holes	Changed Product Group, Product Sub-Group,

fixation plate,  3D plate, titanium	Suffix.

ST722	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 4x2 holes	Changed Product Group, Product Sub-Group,

fixation plate,  3D plate, titanium	Suffix.

ST723	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.2mm system, 4x2 holes	Changed Product Group, Product Sub-Group.

fixation plate, replant plate, titanium

ST726	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 4 holes	Changed Product Group, Product Sub-Group.

straight plate, titanium

ST728	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 16 holes	Changed Product Group, Product Sub-Group.

fixation straight plate, titanium

ST730	Leibinger Titanium Implant System	Hand system, fixation plate, L-shape, right/left	1.7mm, 6 holes	Changed Product Group, Product Sub-Group.

ST731	Leibinger Titanium Implant System	Hand system, T-shape, right/left	1.7mm, 6 Holes	Changed Product Group, Product Sub-Group.

ST733	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 7 holes	Changed Product Group, Product Sub-Group.

fixation plate, T-shape, 90 deg, titanium

ST734	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, Y-	1.7mm system, 7 holes	Changed Product Group, Product Sub-Group.

shape, narrow, titanium

ST735	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, Z-	1.7mm system, 9 holes	Changed Product Group, Product Sub-Group.

shape, titanium

ST736	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 4x2 holes	Changed Product Group, Product Sub-Group.

replant plate, titanium

ST737	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 5 holes	Changed Product Group, Product Sub-Group.

condylar compression plate with bar, right/left, titanium

ST738	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 2x2 holes	Changed Product Group, Product Sub-Group,

fixation, 3D plate, titanium	Suffix.

ST739	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm system, 2x2 + 2 holes	Changed Product Group, Product Sub-Group,

fixation, 3D plate, titanium	Suffix.

Changed Items for Prostheses List Report	Page 181 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST740	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 3D	1.7mm system, 3x2 holes	Changed Product Group, Product Sub-Group,

plate, titanium	Suffix.

ST741	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 3D	1.7mm system, 4x2 holes	Changed Product Group, Product Sub-Group,

plate, titanium	Suffix.

ST748	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 5 holes	Changed Product Group, Product Sub-Group.

straight compression plate, Titanium

ST749	Leibinger Titanium Implant System	Hand System, straight plate, Compression and non-	2.3mm, 4 - 6 holes	Changed Product Group, Product Sub-Group.

compression plate

ST750	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 16 holes	Changed Product Group, Product Sub-Group.

fixation straight plate, Titanium

ST751	Stryker Leibinger Plating System	Hand Profyle Plate	2.3mm diameter, 6 hole	Changed Product Group, Product Sub-Group,

Suffix.

ST753	Leibinger Titanium Implant System	Hand system, compression & non-compression plates,	2.3mm, 6 holes	Changed Product Group, Product Sub-Group,

T-shape	Suffix.

ST755	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 7 holes	Changed Product Group, Product Sub-Group,

fixation and compression plate, T-shape, 90 deg, 	Suffix.

Titanium

ST756	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 7 holes	Changed Product Group, Product Sub-Group,

fixation and compression plate, Y-shape, narrow, 	Suffix.

Titanium

ST757	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 13 holes	Changed Product Group, Product Sub-Group,

fixation plate, Z-shape, Titanium	Suffix.

ST758	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 5 holes	Changed Product Group, Product Sub-Group,

condylar compression plate, right/left, Titanium	Suffix.

ST759	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 6 holes	Changed Product Group, Product Sub-Group,

condylar compression plate, right/left, Titanium	Suffix.

ST760	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 4x2 holes	Changed Product Group, Product Sub-Group.

replant plate, Titanium

ST761	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 2x2 holes	Changed Product Group, Product Sub-Group,

fixation plate, 3D plate, Titanium	Suffix.

ST762	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 2x2 +2 holes	Changed Product Group, Product Sub-Group,

3D plate, Titanium	Suffix.

ST763	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 3x2 holes	Changed Product Group, Product Sub-Group,

fixation plate, 3D plate, Titanium	Suffix.

ST764	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 4x2 holes	Changed Product Group, Product Sub-Group,

fixation plate, 3D plate, Titanium	Suffix.

ST765	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm diameter x 6-18mm	Changed Product Group, Product Sub-Group.

cross-slot, self-tapping screw, Titanium

ST766	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm diameter x 19-24mm	Changed Product Group, Product Sub-Group.

cross-slot, self-tapping screw, Titanium

ST767	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.5mm diameter x 6mm	Changed Product Group, Product Sub-Group.

emergency cross-slot screw, Titanium

ST768	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 4 holes	Changed Product Group, Product Sub-Group,

compression plate with bar, Titanium	Suffix.

Changed Items for Prostheses List Report	Page 182 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST769	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 5 holes	Changed Product Group, Product Sub-Group,

compression plate with bar, Titanium	Suffix.

ST770	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 6 holes	Changed Product Group, Product Sub-Group,

compression plate with bar, Titanium	Suffix.

ST771	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 7 holes	Changed Product Group, Product Sub-Group,

compression plate with bar, Titanium	Suffix.

ST772	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 8 holes	Changed Product Group, Product Sub-Group,

compression plate with bar, Titanium	Suffix.

ST773	Leibinger Titanium Implant System	Hand system, compression plate, 90 deg, L-shape, 	2.3mm, 6 Hole	Changed Product Group, Product Sub-Group,

right/left	Suffix.

ST775	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.3mm system, 6 holes	Changed Product Group, Product Sub-Group,

compression plate, T-shape, oblique, right/left, Titanium	Suffix.

ST777	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	2.5mm diameter	Changed Product Group, Product Sub-Group.

screw, Titanium

ST783	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, screw, 	Diameter 2.3mm, Length 8mm - 22mm	Changed Product Group, Product Sub-Group.

Titanium

ST786	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, straight 	4 holes	Changed Product Group, Product Sub-Group.

plate, Titanium

ST787	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, straight 	6 holes	Changed Product Group, Product Sub-Group.

plate, Titanium

ST788	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, curved 	4 holes	Changed Product Group, Product Sub-Group.

plate, Titanium

ST789	Leibinger Titanium Implant System	Leibinger Plates - Wrist Arthrodesis Plates, partial and 	8 and 12 holes	Changed Product Group, Product Sub-Group.

total, right/left, Titanium

ST804	Grosse and Kempf Locking Nail - 4.6mm	Cross screws	20 - 70mm length	Changed Product Group, Product Sub-Group.

ST818	Osteonics Solar Elbow System - humeral assembly	Titanium alloy with polyethylene bushing	Standard, large	Changed Product Group, Product Sub-Group.

ST819	Osteonics Solar Elbow System - long humeral assembly	Titanium alloy with polyethylene bushing	Standard, large	Changed Product Group, Product Sub-Group,

Suffix.

ST820	Osteonics Solar Elbow System - ulna component	Titanium alloy	Small, standard, large	Changed Product Group, Product Sub-Group.

ST821	Titanium Adapter Sleeve	For use with new ceramic heads	One size only	Changed Description.

ST830	Stryker Wedge Interference Screw	Small threaded titanium screw for ligament/tendon 	Diameter 7 - 9mm, Length 20 - 25mm	Changed Product Group, Product Sub-Group.

fixation

ST865	OP-1 Implant - Osteogenic Protein 1, 3.5mg	Osteoinductive and osteoconductive bone graft substitute	1 vial	Changed Product Group, Product Sub-Group,

Suffix.

ST866	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 8, 10, 12mm	Changed Product Group, Product Sub-Group.

ST867	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 14, 16, 18mm	Changed Product Group, Product Sub-Group.

ST868	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 20, 22, 24mm	Changed Product Group, Product Sub-Group.

ST869	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 26, 28, 30mm	Changed Product Group, Product Sub-Group.

ST870	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 32, 34, 36, 38mm	Changed Product Group, Product Sub-Group.

ST877	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral  outer head, cobalt chromium	22mm with 0, +2 and +4mm neck lengths	Changed Product Group, Product Sub-Group.

ST878	Monticelli-Spinelli External Fixation	Anodized metal alloy, three quarter ring	Small, Medium, Large	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 183 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST884	Apex Pins	Stainless Steel Orthopaedic Pins	2 - 6mm	Changed Product Group, Product Sub-Group.

ST885	Howmedica Dynamic Joint Distractor	Y Body Assembly - Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

ST886	Howmedica Dynamic Joint Distractor	Pin Stop Collar - Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

ST887	Howmedica Dynamic Joint Distractor	Pin to Rod Coupling - Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

ST888	Howmedica Dynamic Joint Distractor	Complete Y Body Frame - Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

ST889	Howmedica Dynamic Joint Distractor	Straight Body Assembly - Stainless Steel	One size only	Changed Product Group, Product Sub-Group.

ST890	Steinmann Pins	Stainless Steel	7,9"	Changed Product Group, Product Sub-Group.

ST891	Hoffmann II External Fixation System	Pin clamp assembly with no post	One Size Only	Changed Product Group, Product Sub-Group.

ST892	Hoffmann II Compact External Fixation System	Pin clamp assembly with no post	One Size Only	Changed Product Group, Product Sub-Group.

ST912	Duracon ISA Knee System Tibial Insert	Minimally stabilised, mobile bearing tibial insert, 	Small, medium, large, X-large - left, right	Changed Product Name, Description.

UHMWPE (Duration)	Amended benefit with $160.00 gap.

ST913	Duracon ISA Knee System Tibial Baseplate 	Mobile bearing tibial baseplate, cemented, CoCr 	Small, medium, large, X-large	Changed Product Name, Description.

(Vitallium) 	Amended benefit.

ST925	Scorpio Knee System SuperFlex Tibial Insert 	Posterior stabilised tibial insert, SuperFlex, UHMWPE 	3, 5, 7, 9 , 11, 13 in thickness 8, 10, 12, 15, 18, 21, 24mm	Changed Product Name, Description.

(N2VAC)	Amended benefit with $204.00 gap.

ST935	Hoffman II External Fixation System	Anodised metal alloy, rod to rod coupling	8/8mm	Changed Product Group, Product Sub-Group.

ST936	Hoffman II External Fixation System	Anodised metal alloy, pin to rod coupling	8/4, 5mm	Changed Product Group, Product Sub-Group.

ST937	Hoffman II External Fixation System	Anodised metal alloy, 30 deg angled post, stainless steel	One size only	Changed Product Group, Product Sub-Group.

ST938	Hoffman II External Fixation System	Anodised metal alloy, straight post, stainless steel	One size only	Changed Product Group, Product Sub-Group.

ST939	Hoffman II External Fixation System	Anodised metal alloy, aluminium connecting rod	8mm x 65-500mm	Changed Product Group, Product Sub-Group.

ST940	Hoffman II External Fixation System	Anodised metal alloy, carbon connecting rod	8mm x 65-500mm	Changed Product Group, Product Sub-Group.

ST941	Hoffman II External Fixation System	Anodised metal alloy, stainless steel connecting rod	8mm x 65-500mm	Changed Product Group, Product Sub-Group.

ST942	Hoffman II External Fixation System	Anodised metal alloy, curved aluminium rod semi-	Small, Medium, Large	Changed Product Group, Product Sub-Group,

circular	Suffix.

ST943	Hoffman II External Fixation System	Anodised metal alloy, adjustable connecting rod	Long, short	Changed Product Group, Product Sub-Group,

Suffix.

ST944	Hoffman II External Fixation System	Anodised metal alloy, dynamization/distraction rod, 	One size only	Changed Product Group, Product Sub-Group,

compression/distraction rod, dynamization/distraction 	Suffix.

rod to rod coupling

ST945	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly yellow	15mm	Changed Product Group, Product Sub-Group.

ST946	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly blue	20mm	Changed Product Group, Product Sub-Group.

ST947	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly red	25mm	Changed Product Group, Product Sub-Group.

ST948	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly yellow	15mm	Changed Product Group, Product Sub-Group.

ST949	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly blue	20mm	Changed Product Group, Product Sub-Group.

ST950	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly red	25mm	Changed Product Group, Product Sub-Group.

ST951	Monotube External Fixation System	Anodized metal alloy, pin clamp yellow, blue, red	15, 20, 25mm	Changed Product Group, Product Sub-Group.

ST952	Monotube External Fixation System	Anodized metal alloy, single pin clamp yellow, blue, 	15, 20, 25mm	Changed Product Group, Product Sub-Group.

ST953	Monotube External Fixation System	Anodized metal alloy, T-Adapter yellow, blue, red	15, 20, 25mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 184 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST954	Monotube External Fixation System	Anodized metal alloy, tube to tube clamp yellow, blue,	15, 20, 25mm, 15/20mm, 20/25mm	Changed Product Group, Product Sub-Group.

red, yellow/blue, blue/red

ST955	Monotube External Fixation System	Anodized metal alloy, hybrid clamp blue, hybrid 	One size only	Changed Product Group, Product Sub-Group,

clamp red	Suffix.

ST956	Monotube External Fixation System	Monticelli/Spinelli Ring Frame	One size only	Changed Product Group, Product Sub-Group.

ST957	Monotube External Fixation System	3/4 ring blue, green and white	147mm, 165mm, 187mm	Changed Product Group, Product Sub-Group.

ST958	Monotube External Fixation System	Monticelli/Spinelli Kirschner Wire Holder	One size only	Changed Product Group, Product Sub-Group.

ST959	Monotube External Fixation System	With sliding clamp	One size only	Changed Product Group, Product Sub-Group.

ST960	Monotube External Fixation System	With sliding clamp and spacer	One size only	Changed Product Group, Product Sub-Group.

ST961	Monotube External Fixation System	Carbon tube assembly yellow 015	150, 200, 250, 300mm	Changed Product Group, Product Sub-Group.

ST962	Monotube External Fixation System	Carbon tube yellow 015	150, 200, 250, 300mm	Changed Product Group, Product Sub-Group.

ST963	Monotube External Fixation System	Carbon tube blue 015	150, 200, 250, 300mm	Changed Product Group, Product Sub-Group.

ST964	Monotube External Fixation System	Carbon tube red 015	150, 200, 250, 300mm	Changed Product Group, Product Sub-Group.

ST965	TenXor External Fixation System	Anodized metal alloy, open ring	150, 180, 210, 250mm	Changed Product Group, Product Sub-Group.

ST966	TenXor External Fixation System	Anodized metal alloy, ring clamp	One size only	Changed Product Group, Product Sub-Group.

ST967	TenXor External Fixation System	Anodized metal alloy, wire post, pin post	One size only	Changed Product Group, Product Sub-Group.

ST968	TenXor External Fixation System	Anodized metal alloy, ring to monotube triax tube 	One size only	Changed Product Group, Product Sub-Group.

clamp

ST969	TenXor External Fixation System	Anodized metal alloy, blue, red	20, 25mm	Changed Product Group, Product Sub-Group.

ST970	TenXor External Fixation System	Anodized metal alloy, Monticelli Spinelli kirschner 	One size only	Changed Product Group, Product Sub-Group.

wire holder

ST971	TenXor External Fixation System	Anodized metal alloy, with sliding clamp	One size only	Changed Product Group, Product Sub-Group.

ST972	TenXor External Fixation System	Anodized metal alloy,with sliding clamp and spacer	One size only	Changed Product Group, Product Sub-Group.

ST983	Stryker Plating System	DuPont Distal Humeral Plate	7,9,11,13 holes	Changed Product Group, Product Sub-Group.

ST984	Scorpio Knee System  Femoral Component 	Posterior stabilised, cemented, CoCr with TiNi surface 	3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 Right, 9 Left, 9	Changed Product Name, Description.

treatment (LFIT - Low Friction Ion Treatment)	 Right, 11 Left, 11 Right, 13 Left, 13 Right	Amended benefit with $240.00 gap.

Plastic and Reconstructive

SK183	Leibinger Intraoral Distractor (Multiguide II)	Manufactured from stainless steel, allows gradual, 	Frame 20mm - 35mm, 2.0mm diameter, 50 - 90 mm 	Changed Product Group, Product Sub-Group,

independent, and simultaneous distraction of the 	length Auto - Pilot Pins	Suffix.

mandible in 3 planes.

ST724	Leibinger Titanium Implant System	Profyle hand cross-slot, self-tapping	Diameter 1.2 - 1.4mm,  Length  3-13mm	Changed Product Group, Product Sub-Group.

ST742	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment system, 	1.7mm diameter  x 5-17mm	Changed Product Group, Product Sub-Group.

cross-slot, self-tapping screws, titanium

ST743	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	1.7mm diameter x 18-24mm	Changed Product Group, Product Sub-Group.

cross-slot, self-tapping screws, titanium

ST744	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	1.6mm diameter	Changed Product Group, Product Sub-Group.

cross-slot, self-tapping screws , Titanium

ST745	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment System, 	1.9x5mm	Changed Product Group, Product Sub-Group.

emergency, cross-slot, self-tapping screw, Titanium

Changed Items for Prostheses List Report	Page 185 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ST784	Stryker Leibinger Plating System	Forefoot Reconstruction Screws	2.7 - 3.0mm diameter, 12 - 22 lengths	Changed Product Group, Product Sub-Group.

Surgical House

Neurosurgical

SU078	Cross bar	Hook/screw & rod spinal system component	30,45 & 60mm	Changed Product Group, Product Sub-Group,

Suffix.

SU089	Occiput rod 120mm	Hook/screw & rod spinal system component	3.5mm diam	Changed Product Sub-Group.

SU091	Bone screw; Olerud Bone Screw	Hook/screw & rod spinal system component; Olerud 	3.5 & 4mm diam, leng 16-65mm; Cannulated: 	Changed Product Sub-Group, Suffix.

Bone Screw - Titanium, cannulated and non-	Diameter 3.5, 4.0mm Length 45 - 60mm, Non-

cannulated: Diameter 3.5, 4.0 Length 16 -65mm

SU198	Olerud ME-Connector	Titanium. For polyaxial connection of Olerud cervical 	for use with 3mm and 4mm Olerud screws	Changed Product Group, Product Sub-Group,

pedicle screws to rod, claws etc for fixation of the 	Suffix.

cervical spine.

SU200	Olerud Pedicle Screw	Titanium	Diameter 4, 5, 6, 7mm Length 45 - 90mm	Changed Product Sub-Group, Suffix.

Orthopaedic

SU006	Bold Compression Screw	Cannulated titanium	3mm diam 10-34mm length	Changed Product Group, Product Sub-Group,

Suffix.

SU007	ICOS Screw: Ideal Compression Screw	Cannulated titanium	4mm diam 26-60mm length, 6.5mm diam 40-90mm 	Changed Product Group, Product Sub-Group,

length	Suffix.

SU008	Spin Screw: Snap Off Screw	Titanium	Diameter 2mm, Length 11-14mm; Diameter  2.7mm, 	Changed Product Group, Product Sub-Group.

Various Lengths; Diameter 3.0mm, Various Lengths

SU009	Kalix 	Flat foot implant titanium/UHMWP	9 - 17mm diameter	Changed Product Group.

SU010	K-Wire (Kirschner)	Stainless steel	70mm, 100mm, 200mm length	Changed Product Group, Product Sub-Group.

SU011	Tac-Pin (Threaded)	Compression pin-titanium	1.7mm diam 15-25mm length	Changed Product Group, Product Sub-Group.

SU012	Solustaple Standard Staple	Stainless steel 90 deg & 26 degree	8 & 10mm length	Changed Product Group, Product Sub-Group.

SU013	Uni-Clip Compression Staple	Stainless steel	Width 11mm - 30mm, Length 13mm - 32mm; 	Changed Product Group, Product Sub-Group,

Notched - Width 11mm - 30mm, Length 13mm - 	Suffix.

32mm;

SU113	Hintegra Total Ankle Prosthesis	Tibial implant	Right and left, sizes 1 - 6	Changed Product Group, Product Sub-Group.

SU114	Hintegra Total Ankle Prosthesis	Talar implant	Right and left, sizes 1 - 5	Changed Product Group, Product Sub-Group.

SU115	Hintegra Total Ankle Prosthesis	Sliding insert	Sizes 1 - 5, thickness 5 - 9mm	Changed Product Group, Product Sub-Group.

SU116	Hintegra Total Ankle Prosthesis	Cortical fixation screw, Composition - Stainless Steel	Length 12 - 42mm	Changed Product Group, Product Sub-Group.

SU129	Reflexion 1st MPJ Implant System	Reflexion metatarsal stems, 3 part 1st MPJ 	Small, medium, large	Changed Product Group, Product Sub-Group.

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SU130	Reflexion 1st MPJ Implant System	Reflexion metatarsal heads, 3 part 1st MPJ 	Standard, long, extra-long	Changed Product Group, Product Sub-Group.

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

Changed Items for Prostheses List Report	Page 186 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SU131	Reflexion 1st MPJ Implant System	ReflexionPhalangeal Bases, 3 part 1st MPJ 	Small, medium, large	Changed Product Group, Product Sub-Group.

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SU169	Hallu-Fix Plates	Composition - titanium, Hallu-C Plate: left and right, 	Hallu-C Plate left and right 40,45,50mm; Hallu-S Plate	Changed Product Group, Product Sub-Group.

Hallu-S Plate: left and right	 right 50,55mm, left 60mm

SU174	SEM Rotator Cuff Tendon and Prosthesis for Tenoplasty	Polyester	1, 2, 3, 4	Changed Product Group, Product Sub-Group.

SU176	MBCP Wedge	Composition - 60% hydroxyapatite / 40% Ca3(PO4)2 	MBCP Wedge - 6 degrees to 14 degrees	Changed Product Group, Product Sub-Group.

To be used in combination with Surfix Opening Wedge

HTO Plates and screws/lock screws

SU177	Surfix Reinforced Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only 	2 holes, 4 holes/77mm, 4 holes/112mm	Changed Product Group, Product Sub-Group,

with Surfix Screws/lock screws	Suffix.

SU178	Surfix Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only 	2-4 hole plates	Changed Product Group, Product Sub-Group.

with surfix screws/lock screws.

SU179	Surfix Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only 	5 - 7 hole plates	Changed Product Group, Product Sub-Group,

with Surfix screws/lock screws	Suffix.

SU180	Surfix Distal Humeral Plates	Composition - 316L Stainless Steel.  To be used only 	Left and right	Changed Product Group, Product Sub-Group.

with Surfix screws/lock screws

SU181	Surfix Femoral Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be used only 	8/9/10 hole, left and right	Changed Product Group, Product Sub-Group,

with Surfix screws/lock screws	Suffix.

SU182	Surfix Distal Femoral Varus Osteotomy Plate	Composition - 316L Stainless Steel. To be used only 	One size only	Changed Product Group, Product Sub-Group,

with surfix screws/lock screws	Suffix.

SU183	Surfix Femoral Varus and De-rotation Osteotomy 	Composition - 316L Stainless Steel.  To be used only 	Surfix Femoral Varus and De-rotation Osteotomy 	Changed Product Group, Product Sub-Group,

with Surfix screws/lock screws	Plates - 3 holes, Surfix Femoral Varus and De-rotation 	Suffix.

Osteotomy Plates - 4 holes, Surfix Reinforced Femoral

Varus and De-rotation Osteotomy Plates - left and

SU184	Surfix Proximal Humeral Plate	Composition - 316L Stainless Steel. To be used only 	'6 - 8 holes'	Changed Product Group, Product Sub-Group.

with Surfix screws/lock screws

SU185	Surfix HTO Plates	Composition - 316L Stainless Steel. To be used only 	Opening wedge HTO plates, left and right. Closing 	Changed Product Group, Product Sub-Group.

with Surfix screws/lock screws.	wedge HTO plates, left and right. Reinforced closing

wedge HTO plates, left and right

SU186	Surfix Lock Screws	For use with Surfix bone screws and plates	Diameter 2.7mm - 6.5mm	Changed Size, Product Group, Product Sub-

Group.

SU187	Surfix Screws/Lock Screws	Screws - Cancellous, Cancellous cannulated, cortical, 	Cancellous/Cancellous cannulated - Diameter 6.5mm, 	Changed Size, Product Group, Product Sub-

cortical cannulated plus Lock screws	Length 20mm - 100mm + Lock Screw, Cortical - 	Group, Suffix.

Diameter 5.0mm, Length 25mm - 45mm + Lock

Screw, Cortical - Diameter 4.5mm, Length 14mm -

65mm + Lock Screw, Cortical - Diameter 3.5mm,

Length 14mm - 32mm + Lo

SU188	Hintegra Total Ankle Prosthesis	Talar Implant - Flat talar resection	Left - Size 1-5, Right - Size 1-5	Changed Product Group, Product Sub-Group.

SU191	Hintegra Total Ankle Prosthesis	Tibial Implant	Right & Left, Sizes 1 - 6, Thickness 8mm or 12mm	Changed Product Group, Product Sub-Group.

SU193	Basal Osteotomy Plate	Titanium	5 Deg, Left and Right, 10Deg, Left and Right	Changed Product Group, Product Sub-Group.

SU194	Calcanea, Calcaneal Fracture Plate	Titanium	Small, Medium, Large	Changed Product Group, Product Sub-Group.

SU195	Calcanea Locking Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 45mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 187 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SU196	Calcanea Variable Angle Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 45mm	Changed Product Group, Product Sub-Group.

SU201	Panta Arthrodesis Nail	Ankle Nail, Titanium	Diameter 10 -13 mm Length - 150-240 mm	Changed Size, Product Group, Product Sub-

Group, Suffix.

SU202	Panta Arthrodesis Nail	Locking Screw, Titanium	Diameter 5 mmLength - 20 - 110 mm	Changed Size, Product Group, Product Sub-

Group, Suffix.

SU203	Panta Arthrodesis Nail	End Cap, Titanium	One Size	Changed Product Group, Product Sub-Group.

SU204	Uni-Clip Compression Staple (Sterile)	Stainless Steel, Notched and Non-Notched	Width 11-30mm, Length 13-32mm	Changed Product Group, Product Sub-Group,

Suffix.

SU205	Solustaple Standard Staple (Sterile)	Stainless Steel	26°, 90°, 8-10mm	Changed Product Group, Product Sub-Group.

SU206	Spin Screw: Snap Off Screw (Sterile)	Titanium	Diameter 2-3mm, Length 10-34mm	Changed Product Group, Product Sub-Group.

SU207	B-BOP Plantar Basal Osteotomy Plate (Sterile)	Titanium	Moderate Correction(5°) Left, Right. Severe 	Changed Product Group, Product Sub-Group.

Correction (10°) Left, Right

SU208	Bold Compression Screw (Sterile)	Cannulated Titanium	10-34mm	Changed Product Group, Product Sub-Group.

Surgical Specialties

Orthopaedic

SQ001	Rearfoot Plate - RPS	Titanium	6-14 holes	Changed Product Group, Product Sub-Group.

SQ002	Arthrodesis Flat Plate - AFP	Titanium	12-16mm	Changed Product Group, Product Sub-Group.

SQ003	Distal Radius Reconstruction System	Radius Plate	2mm	Changed Product Group, Product Sub-Group.

SQ004	Distal Radius  Reconstruction System	Ulna/Clavicle Plate	2mm	Changed Product Group, Product Sub-Group.

SQ005	Radius Plating System	Standard or Anatomic	1.3mm	Changed Product Group, Product Sub-Group.

SQ007	Osteosynthesis Plates	Straight Plate, 4 hole w/wo bar	1.2-2.7mm	Changed Product Group, Product Sub-Group.

SQ008	Osteosynthesis Plates	Straight Plate, 5-13 T, Y, L Plate, Condylar 2x2 Plate	1.2-2.7mm	Changed Product Group, Product Sub-Group.

SQ010	Osteosynthesis Plates	Straight Plate, 16 hole	1.2-2.7mm	Changed Product Group, Product Sub-Group.

SQ011	Osteosynthesis Plates	Plate, 2x2+2, 3x2	1.2-2.7mm	Changed Product Group, Product Sub-Group.

SQ012	Osteosynthesis Plates	Plate, 4x2	1.2-2.7mm	Changed Product Group, Product Sub-Group.

SQ013	Displacement Plate - DPS	Titanium	6-10mm	Changed Product Group, Product Sub-Group.

SQ014	Osteosynthesis Screws	Screw, Self Tapping or Lag	1.2, 1.7, 2.3mm	Changed Product Group, Product Sub-Group.

SQ015	Osteosynthesis Screws	Screw, Emergency	1.4, 1.9, 2.4mm	Changed Product Group, Product Sub-Group.

SQ016	Osteosynthesis Screws	Screw, Locking or Standard	2.7mm	Changed Product Group, Product Sub-Group.

SQ017	CBS Screw	Titanium Compression Screw, Cannulated	1-1.5mm	Changed Product Group, Product Sub-Group,

Suffix.

SQ019	Cannulated Screw	Titanium	3.5mm	Changed Product Group, Product Sub-Group.

SQ020	Hot-Staples	Hot-Staple Nitinol	11 - 25mm	Changed Product Group, Product Sub-Group.

SQ021	TOM Plate	Titanium	L & R 0-5mm	Changed Product Group, Product Sub-Group.

Surgical Synergies Pty Ltd

General/Miscellaneous

Changed Items for Prostheses List Report	Page 188 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SS001	PainBuster	Kit includes catheter, introducer needle, flow 	270ml volume x 2 lines x 2 ml per hour; 270ml x 2ml, 	Changed Product Group, Product Sub-Group,

restrictor, filter, bolus	5ml bolus; 270ml x 1-7ml/hr	Suffix.

Amended benefit with $212.00 gap.

SS002	PainBuster	Kit includes catheter, introducer needle, flow 	100ml volume x 2 ml per hour	Changed Product Group, Product Sub-Group,

restrictor, filter	Suffix.

Amended benefit.

SS003	PainBuster	Kit includes catheter, introducer needle, flow 	270ml volume x 2 ml per hour	Changed Product Group, Product Sub-Group,

restrictor, filter	Suffix.

Amended benefit with $55.00 gap.

SS004	PainBuster	Kit includes catheter, introducer needle, flow 	270ml volume x 5 ml per hour	Changed Product Group, Product Sub-Group,

restrictor, filter	Suffix.

Amended benefit with $55.00 gap.

SS005	Painbuster	Kit includes catheter, introducer needle, flow 	270ml x 4ml/hr, dual; 400ml x 4ml per hour, dual	Changed Product Group, Product Sub-Group,

restrictor, filter	Suffix.

Amended benefit with $380.00 gap.

SS006	Painbuster	Kit includes catheter, introducer needle, flow 	400ml	Changed Product Group, Product Sub-Group,

restrictor, filter, 2 - 14ml/hour	Suffix.

Amended benefit with $212.00 gap.

Surgiplas Medical

Plastic and Reconstructive

SP010	Nagor Tissue Expander	Remote port - silicone shell	10 to 2000cc	Changed Product Name, Product Group,

Product Sub-Group, Suffix.

Amended benefit.

SP011	Nagosil SFS-LP-Saline Filled Low Profile Smooth 	Smooth surface	100 to 600cc	Changed Product Group, Suffix.

Surface Breast Prostheses, Nagosil SFS-HP-Saline 	Amended benefit.

Filled High Profile Smooth Surface Breast Prostheses

SP012	Nagotex SFX-LP-Saline Filled Low Profile Textured 	Textured surface	100 to 600cc	Changed Product Group, Suffix.

Surface, Nagotex SFX-HP-Saline Filled High Profile 	Amended benefit.

Textured Surface Breast Prostheseses

SP023	OsteoMed Plating & Fixation System	Plates - Reconstruction	4 x 12 Hole plate Right & Left; 14, 15 & 18 Hole 	Changed Size.

Straight Plate, Neuro Plate Fixation Set

SP036	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (18 - 42)mm; 2.4mm x (22 - 50)mm	Changed Size.

SP047	Gel Filled Mammary Prosthesis Models GFX-LP, 	Textured Round	80 to 800ml	Changed Product Group, Suffix.

GFX and GFX-EHP	Amended benefit.

SP048	Gel Filled Mammary Prosthesis Models RGI-D, RGI-	Smooth Round	80 to 800ml	Changed Product Name, Product Group.

DH and RGI-DEH	Amended benefit.

SP049	Gel Filled Mammary Prosthesis Models CoGel-XR, 	CoGel High Cohesive	100 to 790gm	Changed Product Name, Size, Product Group,

CoGel-XRH, CoGel-XL, CoGel- XM and CoGel XA	Product Sub-Group, Suffix.

Amended benefit.

Synthes Australia Pty Ltd

Neurosurgical

SY011	VentroFix	Parallel connector	6.0/6.0mm	Changed Product Sub-Group.

SY012	CerviFix Posterior Cervical System	Clamp	Left, Right, Medial, Lateral, Pedicle, Lamina	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 189 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY014	CerviFix Posterior Cervical System	Rod: Occiput, Straight, Tapered	120 - 250mm length	Changed Suffix.

SY015	CerviFix Posterior Cervical System	Parallel connector	3.5/3.5, 3.5/5.0, 3.5/6.0	Changed Product Sub-Group.

SY039	Spinal Plate/Plate System AO/ASIF Spinal Implants	Spondylolysis hook screw (complete) small & large	Screw 45 - 60mm	Changed Suffix.

SY088	Plif Cage: Cage	Contact fusion cage - bone compression screw for 	Width 8 - 11mm / height 9 - 15mm	Changed Suffix.

PLIF cage

SY134	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	22 - 92mm Length	Changed Product Sub-Group.

SY137	Syncage	Interbody fusion cage	12 -19mm Height	Changed Suffix.

SY139	Spinal Plate/Plate System AO/ASIF Spinal Implants	Anterior thoracolumbar plate - locking	40mm - 109mm	Changed Product Name.

SY140	Spinal Plate/Plate System AO/ASIF Spinal Implants	Anterior thoracolumbar screws -  locking	Locking screw 7.5mm, length 25 - 55mm	Changed Product Sub-Group, Suffix.

SY141	Spinal Plate/Plate System AO/ASIF Spinal Implants	Cannulated/self tapping screw (odontoid)	3.5mm dia, 36-50mm length	Changed Product Sub-Group, Suffix.

SY149	Universal Spine System (USS)	Schanz Screws	 5-7mm dia 	Changed Product Sub-Group, Suffix.

SY151	Universal Spine System (USS)	Sleeve	3.5 - 6mm	Changed Product Group, Product Sub-Group,

Suffix.

SY175	Universal Spine System (USS)	Pedicle Screw - USSII	25 - 140mm	Changed Suffix.

SY178	Spinal Fixation System	Pedicle screw head	5 - 6mm	Changed Product Group, Product Sub-Group,

Suffix.

SY179	Spinal Fixation System	Pedicle Screw (without head)	L:30-100mm, D:4-9mm	Changed Product Sub-Group, Suffix.

SY181	Cervical Spine Locking Plate (CSLP) System	Expansion Head Screw	Dia 3.5 - 4.5mm,  Length 12 - 25mm	Changed Product Sub-Group, Suffix.

SY182	Cervical Spine Locking Plate (CSLP) System	VA Plate	Length 23 - 109mm	Changed Product Sub-Group.

SY187	Cervifix Posterior Cervical  System	Screw	Dia 3.2 - 4.5mm, Length 6 - 55mm	Changed Product Sub-Group, Suffix.

SY192	Universal Spine System (USS)	Pedicle screw	Length 70 - 140mm	Changed Suffix.

SY250	Universal Spine System	Low Profile Transconnector	18-83mm length	Changed Suffix.

SY251	Ventrofix - MIS	Screw	25-65mm	Changed Product Sub-Group, Suffix.

SY273	Cervios IBF Cage	Interbody Fusion Cage	Height 5-10mm (1mm increments)	Changed Suffix.

SY274	Plivios IBF Cage	Interbody Fusion Cage	Height  7-17mm	Changed Suffix.

SY287	USS llio-Sacral Fixation system	Transconnecting bar	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SY288	USS llio-Sacral Fixation system	Sacral clamp	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SY290	Anterior Tension Band	Plate	30mm to 110mm	Changed Product Sub-Group.

SY291	Anterior Tension Band	Locking Screw	22mm to 36mm	Changed Product Sub-Group, Suffix.

SY297	SynFix Spinal system	Locking Screw	10mm to 40mm, 4.0mm diameter	Changed Product Sub-Group, Suffix.

SY298	SynFix Spinal System	Interbody fusion cage prefilled or unfilled	5mm to 19mm	Changed Suffix.

SY299	Vectra Anterior Spinal System	Locking Screw	10mm to 26mm	Changed Product Sub-Group, Suffix.

SY300	Travios	Interbody fusion cage, prefilled or unfilled	5mm to 19mm	Changed Suffix.

SY301	TeleFix Spinal System	Rod/Plate construct	40mm to 140mm in length	Changed Suffix.

SY302	TeleFix Spinal System	Posterior Screw	20mm to 70mm in length	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 190 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY303	TeleFix Spinal System	Anterior Screw	20mm to 70mm in length	Changed Product Sub-Group, Suffix.

SY304	TeleFix Spinal System	Posterior Locking Screw	One size only	Changed Suffix.

SY327	Spine Solutions Prodisc	Artificial mechanical disc, superior plate component	3 Degree, 6 Degree, 11 Degree, Medium, Large	Changed Suffix.

SY328	Spine Solutions Prodisc	Artificial mechanical disc, polyethylene inlay	10,12,14mm, Medium, Large	Changed Product Sub-Group, Suffix.

SY329	Spine Solutions Prodisc	Artificial mechanical disc, inferior plate component	0 Degree, 3 Degree, 8 Degree,Medium, Large	Changed Suffix.

SY334	Arch Fixation System	Screws, titanium	2.0mm - 2.4mm screws, 4 to 12mm	Changed Product Sub-Group, Suffix.

SY338	Vectra T Anterior Spinal System	Titanium	14 to 110mm	Changed Product Sub-Group.

SY339	Vectra T Anterior Spinal System	Self tapping, self drilling Titanium	4.0/4.5mm. 12mm to 20mm	Changed Product Sub-Group.

SY340	PlivioPore	Ti PLIF cage	Height 7 - 17mm / width 7 - 13mm	Changed Suffix.

SY341	Expandable Cage Titanium	Synex II, Titanium	Height 14mm-93mm	Changed Product Sub-Group.

SY343	Expandable Cage Titanium	Synex, Titanium, with endplates	Height 14mm - 93mm, Angle 0 - 40 degree	Changed Product Sub-Group.

SY356	ECD - Expandable Corpectomy Device	Vertebral body replacement system, PEEK/Titanium	Angle 4.5Deg/7Deg, Height 17mm - 70mm	Changed Product Group, Product Sub-Group.

SY365	Cervical Spine Locking Plate (CSLP) System	VA Plate	Length 23 - 109mm	Changed Product Sub-Group.

SY382	Axon Occipital Fusion System	Occipital Clamp Titanium Alloy	1 or 2 holes	Changed Product Group, Product Sub-Group,

Suffix.

SY385	Speciality Rods	Scoliosis / J/S Rod, Precontoured, Titanium / Stainless 	5mm, 6mm diameter. Left / Right	Changed Product Sub-Group, Suffix.

Steel	50mm - 500mm length

SY397	PolyMax Resorbable Fixation System	1.5 Burr Hole Cover	8 Hole	Changed Product Group, Product Sub-Group,

Suffix.

SY398	Axon Spinal System - Transconnector	Axon Transconnector	60mm, 70mm	Changed Suffix.

Orthopaedic

SY001	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	20g	Changed Product Group, Product Sub-Group.

SY002	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	10g	Changed Product Group, Product Sub-Group.

SY003	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	5g	Changed Product Group, Product Sub-Group.

SY004	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	1g	Changed Product Group, Product Sub-Group.

SY005	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	0.5g	Changed Product Group, Product Sub-Group,

Suffix.

SY016	AO/ASIF Plates	 3.5mm cloverleaf	3-6 hole, length 104mm	Changed Product Group, Product Sub-Group.

SY017	AO/ASIF Plates	3.5mm calcaneal	Length 60 - 70mm	Changed Product Group, Product Sub-Group,

Suffix.

SY018	AO/ASIF Plates	Straight & Curved 3.5mm, reconstruction	2 - 24hole	Changed Product Group, Product Sub-Group,

Suffix.

SY019	AO/ASIF Plates	Steel, left & right, 4.5mm T & L plate, 4.5mm 	3-12 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY020	AO/ASIF Plates	Steel, spoon plate,4.5mm 	5-12 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY023	AO/ASIF Plates	Steel, left & right, lateral, proximal, tibial, buttress, 	3-13 hole	Changed Product Group, Product Sub-Group,

4.5mm lateral tibial	Suffix.

Changed Items for Prostheses List Report	Page 191 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY024	AO/ASIF Plates 	4.5mm cobra head	8-11 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY029	AO/ASIF Plates 	straight & shaped plate	2.0mm - 2.7mm, 2 - 50 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY030	AO/ASIF Plates	Steel, DHS plates	130-150 deg/ 2-16 hole / 43-27mm length / barrel 25 - 	Changed Product Group, Product Sub-Group.

38mm

SY033	AO/ASIF Plates 	 4.5mm semi tubular	2 - 28 hole	Changed Product Group, Product Sub-Group.

SY034	AO/ASIF Plates 	4.5mm narrow, DCP/LCP/LCDCP	2-28 hole	Changed Product Group, Product Sub-Group.

SY035	AO/ASIF Plates	 4.5mm broad,  DCP/LCDCP	2-28 hole	Changed Product Group, Product Sub-Group.

SY036	AO/ASIF Plates	Tubular plate, 3.5mm 1/3 tubular	2-28 hole	Changed Product Group, Product Sub-Group.

SY037	AO/ASIF Plates	Wrist fusion plate - standard bend, short bend, straight	2-28 hole	Changed Product Group, Product Sub-Group.

SY038	AO/ASIF Plates	DHS trochanteric stabilizing plate sterile	3-16 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY040	AO/ASIF Plates	Osteotomy plate - adult 	4 Hole /blade 40 - 110mm / 90-130 deg	Changed Product Group, Product Sub-Group,

Suffix.

SY041	AO/ASIF Intermedullary Nails	Femoral Nail	7.0mm-19mm dia 200-600mm length	Changed Product Group, Product Sub-Group,

Suffix.

SY046	AO/ASIF Plates	condylar plate	2.0mm - 2.7mm	Changed Product Group, Product Sub-Group.

SY049	AO/ASIF Screws	Mini cannulated screw	3.0mm dia / 8 - 40mm length	Changed Product Group, Product Sub-Group,

Suffix.

SY050	AO/ASIF Screws	Plate pin	1.8mm buttress pin 12 - 30mm	Changed Product Group, Product Sub-Group.

SY051	AO/ASIF K-Wires, Pins, Washers	Seldrill	4.0/3.0mm & 4.0 - 6mm / 80 - 250mm L	Changed Product Group, Product Sub-Group.

SY053	AO/ASIF Plates	DHS/DCS plate	125-160deg 2-28 hole	Changed Product Group, Product Sub-Group.

SY054	AO/ASIF Plates	DHS/DCS lag screw	50-145mm L	Changed Product Group, Product Sub-Group,

Suffix.

SY056	Cortex Screws	2.7mm - 5.0mm diameter, 5mm - 150mm length	Changed Product Group, Product Sub-Group.

SY057	AO/ASIF K-Wires, Pins, Washers etc	Wire mount & spacer	2mm - 6mm	Changed Product Group, Product Sub-Group.

SY059	AO/ASIF Plates	Unilock, angled, straight, T, Y, condylar, DCP, 	2mm - 50mm	Changed Product Group, Product Sub-Group.

LCDCP, left & right, mandible and locking plates

SY060	AO/ASIF Intermedullary Nails	Cannulated and Solid Nail - tibial / femoral	7.0mm-19mm dia 200-600mm length	Changed Product Group, Product Sub-Group,

Suffix.

SY064	Titanium Elastic Nail	1.5mm - 4.0mm	Changed Product Group, Product Sub-Group,

Suffix.

SY065	Cortex Screw	Cortex Screws	1.0mm - 2.6mm diameter, 5mm - 100mm Length	Changed Product Group, Product Sub-Group.

SY068	AO/ASIF Screws	Cancellous,- ligament, bunionectomy, full & short 	4.0mm dia / 10 - 105mm	Changed Product Group, Product Sub-Group.

thread

SY069	AO/ASIF Screws	Malleolar Screws	25mm - 110mm	Changed Product Group, Product Sub-Group.

SY071	AO/ASIF Screws Steel	cannulated screws	2.4mm - 4.0mm	Changed Product Group, Product Sub-Group,

Suffix.

SY072	AO/ASIF Screws Steel	Cannulated screws	1/3 thread & long thread / 10 - 50mm /4.0mm 	Changed Product Group, Product Sub-Group,

cannulated	Suffix.

Changed Items for Prostheses List Report	Page 192 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY073	AO/ASIF Screws Steel	4.5mm cannulated screws	Short thread, 1/3 thread, full thread / 20 - 72mm, 	Changed Product Group, Product Sub-Group,

4.5mm cannulated	Suffix.

SY074	AO/ASIF Screws Steel	Cannulated screws	4.5mm - 7.3mm	Changed Product Group, Product Sub-Group,

Suffix.

SY076	AO/ASIF Screws Steel	Cannulated implant 	Custom made	Changed Product Group, Product Sub-Group,

Suffix.

SY082	AO/ASIF Screws	6.5mm cancellous screws	10-150mm L	Changed Product Group, Product Sub-Group.

SY085	AO/ASIF Screws	Cannulated screws	Diameter 5.0 - 7.3mm, 20-150mm L	Changed Product Group, Product Sub-Group,

Suffix.

SY087	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wire single ended	0.06 - 3.0mm / length 70 - 400mm	Changed Product Group, Product Sub-Group.

SY089	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wires threaded	0.25 & 15mm / dia .08 - 3.0mm & length 70-300mm	Changed Product Group, Product Sub-Group.

SY090	AO/ASIF K-Wires, Pins, Washers etc - Steel	Steinmann pins/schanz screws	2.5 - 5.0, length 60mm - 300mm	Changed Product Group, Product Sub-Group.

SY091	AO/ASIF k-Wires, Pins, Washers etc	Pinless pins/clips	Asymetric small and large	Changed Product Group, Product Sub-Group,

Suffix.

SY092	AO/ASIF K-Wires, Pins, Washers etc.	Washers/nuts	1.0mm - 16mm dia	Changed Product Group, Product Sub-Group.

SY093	AO/ASIF Plates	Specially manufactured plate all sizes	Custom made	Changed Product Group, Product Sub-Group,

Suffix.

SY097	AO/ASIF Plates - Steel	broad straight plate DCP/LCDCP	4.5mm, 2 - 28 hole	Changed Product Group, Product Sub-Group.

SY100	AO/ASIF Plates	4.5mm Hook Plate	3-12 hole	Changed Product Group, Product Sub-Group.

SY101	AO/ASIF Plates	Osteotomy Plate - Adult / LC angle blade / cannulated 	4 hole, 5-6 hole/30-40mm blade length/ 90 - 100 deg, 	Changed Product Group, Product Sub-Group,

angle blade	10- 20 mm displacement	Suffix.

SY102	AO/ASIF Plates	Osteotomy plate - adolescent	90 deg, blade 40 - 60mm, displ 10 - 15mm	Changed Product Group, Product Sub-Group,

Suffix.

SY103	AO/ASIF Plates	Osteotomy plate - infant	Child, toddler & infant, 115 deg bifurcated, blade 25 - 	Changed Product Group, Product Sub-Group,

45mm, 80 - 100 deg, 4 - 8mm offset, displ 7 - 12mm, 	Suffix.

height 49- 54mm

SY104	AO/ASIF Plates	Osteotomy plate - high tibial	95 deg condylarprox tibia , 50-60 mm, displ 15-20mm	Changed Product Group, Product Sub-Group,

Suffix.

SY105	AO/ASIF Plates - Steel	Condylar & small condylar, angled plate	5 - 24 hole, blade length 50 - 90mm, 95 degree	Changed Product Group, Product Sub-Group.

SY106	AO/ASIF Plates - Steel	Angled blade plate	3 - 26 hole,  length 25 - 110mm, 90 - 130 degree	Changed Product Group, Product Sub-Group,

Suffix.

SY107	AO/ASIF Plates - Steel	DCS DHS plate	95 - 150 degree, 2 - 22 hole, length 25 - 38mm barrel	Changed Product Group, Product Sub-Group.

SY109	AO/ASIF Plates	DHS/DCS compression screw	36mm length	Changed Product Group, Product Sub-Group.

SY110	AO/ASIF Plates	DHS/DCS locking device screw	One size only	Changed Product Group, Product Sub-Group,

Suffix.

SY111	AO/ASIF Plates	Specially manufactured plate	1.0mm - 6.5mm	Changed Product Group, Product Sub-Group,

Suffix.

SY112	AO/ASIF Plates	Plate	1.0mm - 2.7mm	Changed Product Group, Product Sub-Group.

SY113	AO/ASIF Plates	2.0mm condylar	Left & right	Changed Product Group, Product Sub-Group.

SY114	AO/ASIF Plates	3.5mm  - 5.0mm Straight DCP/LCDCP	2-28 hole	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 193 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY115	AO/ASIF Plates	3.5mm, T- PLATE - right & oblique angle	2-8 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY116	AO/ASIF Plates	4.5mm recon plate	2-28 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY117	AO/ASIF Plates	T & L plate  - left & right	3.5mm - 5.0mm, 2 - 12hole	Changed Product Group, Product Sub-Group,

Suffix.

SY118	AO/ASIF Plates	4.5mm, head buttress plate lateral tibial left & right	5 - 15 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY121	AO/ASIF Plates	4.5mm condylar, angled plate	4-22 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY122	AO/ASIF Plates	4.5mm, angled plate	4-22 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY123	AO/ASIF Intermedullary Nails	Femoral reamed, tibial nail	9 - 19mm , length 200 - 500mm.	Changed Product Group, Product Sub-Group,

Suffix.

SY124	AO/ASIF Intermedullary Nails	Proximal sleeve	Standard 130 deg antigrade, spiral blade	Changed Product Group, Product Sub-Group.

SY125	AO/ASIF Intermedullary Nails	End cap	0 - 40mm	Changed Product Group, Product Sub-Group.

SY126	AO/ASIF Intermedullary Nails	Spiral blade	Length 20 - 150mm	Changed Product Group, Product Sub-Group.

SY127	AO/ASIF Intermedullary Nails	Shaft screw	5.0mm , length 70 - 125mm	Changed Product Group, Product Sub-Group.

SY128	AO/ASIF Intermedullary Nails	Tibial unreamed - steel	8 - 9 mm , length 255 - 420mm	Changed Product Group, Product Sub-Group,

Suffix.

SY129	AO/ASIF Intermedullary Nails	Humeral Nail	6.0 - 12.0 mm length 100 - 400mm	Changed Product Group, Product Sub-Group,

Suffix.

SY130	AO/ASIF Arthrodesis system	Arthrodesis	26 - 240mm	Changed Product Group, Product Sub-Group,

Suffix.

SY153	AO/ASIF Plates - Steel	Osteotomy plate - shoulder	Dislocation 80-90 deg.  blade length 35 - 40mm	Changed Product Group, Product Sub-Group,

Suffix.

SY161	LCP Plate	1/3 Tubular Plate	Dia 3.5mm, length 2-16 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY162	LCP Plate	Distal Tibial Plate, sterile/non-sterile	Dia 3.5 - 5.0mm, length 4-24 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY163	LCP Plate	Tibial Plate, Sterile/Non Sterile	 4 - 24 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY164	LCP Plate	Distal Femoral Buttress Plate, Sterile/Non Sterile	Dia 5.0mm, length 4-22 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY165	LCP Plate	Tomofix Plate, Sterile/Non Sterile	Dia 5.0mm, length 2-8 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY166	LCP Plate	Locking Proximal Humeral Plate, sterile/non sterile	Dia 3.5mm, length 3-12 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY172	LCP Plate	Straight Plate, Sterile/Non Sterile	Dia 3.5 - 5.0mm, length 2-20 hole	Changed Product Group, Product Sub-Group,

Suffix.

SY173	AO/ASIF Screws	Self drilling, Self Tapping, Conical Locking, 	Diameter 3.5 - 5.0mm, Length 8 - 100mm	Changed Product Name, Description, Product

Sterile/Non-Sterile	Group, Product Sub-Group, Suffix.

SY176	ChronOS TCP	Wedge	Small, Medium, Large	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 194 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY177	ChronOS TCP	Blocks	Small, Medium, Large	Changed Product Group, Product Sub-Group.

SY188	AO/ASIF Plates	Calcaneal, Locking	3.5mm, 30 - 100mm	Changed Product Group, Product Sub-Group,

Suffix.

SY189	ChronOS Cylinder	Osteoconductive Bone Substitute	8.5, 9.5, 10.5, 12.5 & 14cm	Changed Product Group, Product Sub-Group.

SY193	Orthopaedic External Fixator Systems	Rod / Bar	2.0mm-15.0mm dia 20.0mm-445mm L	Changed Product Group, Product Sub-Group.

SY194	Orthopaedic External Fixator Systems	Curved and straight rod - carbon fibre	4mm - 11mm	Changed Product Group, Product Sub-Group,

Suffix.

SY195	Orthopaedic External Fixator Systems	Protective caps for rods, protection caps	One size only	Changed Product Group, Product Sub-Group.

SY196	Orthopaedic External Fixator Systems	Rod/Bar	450mm length - 650mm Length	Changed Product Group, Product Sub-Group.

SY197	Orthopaedic External Fixator Systems	Hybrid Rings	11mm diameter 1/4 ring - 205mm diameter full ring	Changed Product Group, Product Sub-Group.

SY198	Orthopaedic External Fixator Systems	Distractors and lengthening apparatus	Mini - lengthening apparatus, mini - 	Changed Product Group, Product Sub-Group,

distractor/lengthening apparatus, medium and large 	Suffix.

distractor

SY199	Orthopaedic External Fixator Systems	External fixator clamps, double clamp	4-6mm Diameter	Changed Product Group, Product Sub-Group.

SY200	Orthopaedic External Fixator Systems	External fixator clamps, transverse clamp	4-6mm Diameter	Changed Product Group, Product Sub-Group,

Suffix.

SY201	Orthopaedic External Fixator Systems	External fixator clamps, clamp or open clamp	1.25-8.0mm Diameter	Changed Size, Product Group, Product Sub-

Group, Suffix.

SY202	Orthopaedic External Fixator Systems	External fixator clamps, clamp for hybrid	1.8-11mm Diameter	Changed Product Group, Product Sub-Group.

SY203	Orthopaedic External Fixator Systems	External fixator clamps, tube to tube/universal clamp	11mm Diameter	Changed Product Group, Product Sub-Group.

SY204	Orthopaedic External Fixator Systems	External fixator clamps, open/clip on clamp	4-6mm Diameter	Changed Product Group, Product Sub-Group,

Suffix.

SY205	Orthopaedic External Fixator Systems	External fixator clamps, connecting clamp	3-4mm Diameter	Changed Product Group, Product Sub-Group.

SY206	Orthopaedic External Fixator Systems	External fixator clamps, adjustable clamp	4.0mm	Changed Product Group, Product Sub-Group.

SY207	Orthopaedic External Fixator Systems	External fixator clamp components, threaded rod, MRI	8 - 14mm diameter	Changed Description, Size, Product Group,

Safe	Product Sub-Group, Suffix.

SY224	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece	1.25-11.0mm	Changed Product Group, Product Sub-Group.

SY228	Orthopaedic External Fixator Systems	External fixator clamp components, vice/connecting 	1.25-8.0mm	Changed Description, Size, Product Group,

plate	Product Sub-Group, Suffix.

SY230	Orthopaedic External Fixator Systems	External fixator clamp components, intermediate 	1.25-6.0mm	Changed Product Group, Product Sub-Group,

Suffix.

SY233	Orthopaedic External Fixator Systems	External fixator clamp components, angle	3mm	Changed Product Group, Product Sub-Group,

Suffix.

SY234	Orthopaedic External Fixator Systems	External fixator clamp components, angulator	3mm	Changed Product Group.

SY236	Orthopaedic External Fixator Systems	External fixator clamp components, halo with visor	1.25-6.0mm	Changed Product Group, Product Sub-Group,

Suffix.

SY237	Orthopaedic External Fixator Systems	3 degree, 6 degree, 11 degree. Medium, Large	1.25-6.0mm	Changed Product Group, Product Sub-Group.

SY238	Orthopaedic External Fixator Systems	External fixator clamp components, connecting tube	1.25-6.0mm	Changed Product Group, Product Sub-Group.

SY239	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece with 	1.25-8.0mm	Changed Size, Product Group, Product Sub-

nut	Group, Suffix.

Changed Items for Prostheses List Report	Page 195 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY240	Orthopaedic External Fixator Systems	External fixator clamp components, bar for lower jaw 	1.25-6.0mm	Changed Product Group, Product Sub-Group.

for children

SY242	Orthopaedic External Fixator Systems	External fixator clamp components, bar for upper jaw	1.25-6.0mm	Changed Product Group, Product Sub-Group.

SY246	Orthopaedic External Fixator Systems	External fixator clamp components, sliding carriage	1.25-6.0mm	Changed Product Group, Product Sub-Group.

SY247	Orthopaedic External Fixator Systems	External fixator clamp components, double joint	1.25-6.0mm	Changed Product Group, Product Sub-Group,

Suffix.

SY249	AO/ASIF K Wires, Pins Washers - Steel/Ti Sterile & 	Hybrid Pins - Spade point wires/reduction wires	1.5, 2.0mm Diameter	Changed Size, Product Group, Product Sub-

Non Sterile	Group.

SY253	AO/ASIF Plates	Foot & hand plates - steel - titanium multiple hole	1 - 4mm	Changed Product Group, Product Sub-Group.

SY257	A/O/ASIF K-wires, Pins, Washers etc - Steel - Sterile 	Cerclage Wire - coils with and without eye	0.4-2.5mm	Changed Product Group, Product Sub-Group.

& Non Sterile

SY259	Locking Distal Radius Plate System	Small & Mini Fragment Plates - Volar Plate	LCP - Volar Plate 2.4mm Left & Right, 2.4 Volar 	Changed Product Group, Product Sub-Group,

Plates Straight	Suffix.

SY261	LCP Spacer/Washer	LCP Wiremount Spacer	Diameter 2mm - 6mm	Changed Product Group, Product Sub-Group.

SY262	AO/ASIF Intermedullary Nails	Femoral Nail	9-15mm dia / 120-150 deg / 170 - 500mm Length	Changed Description, Product Group, Product

Sub-Group, Suffix.

SY263	AO/ASIF Intermedullary Nails	Hip Pin	12.0mm, 30-200mm Length	Changed Product Group, Product Sub-Group.

SY264	AO/ASIF Intermedullary Nails	Distal Femoral Nail - DFN	9-15mm / 160-420mm Length	Changed Product Group, Product Sub-Group,

Suffix.

SY265	AO/ASIF Intermedullary Nails	Locking Screws	15 -150mm	Changed Product Group, Product Sub-Group,

Suffix.

SY266	AO/ASIF Screws	Malleolar Screws	20.0 - 45.0mm	Changed Product Group, Product Sub-Group.

SY270	AO/ASIFIntramedullary Nails	Antegrade/Retrograde Femoral Nail	Diameter 6.5-18mm, Length 30-500mm	Changed Product Name, Description, Size,

Product Group, Product Sub-Group, Suffix.

SY278	AO/ASIF Cortex Screws	Locking Head Screws	2.0mm 7.3mm	Changed Product Group, Product Sub-Group,

Suffix.

SY279	Small & Mini Fragment Plates	Locking Distal Radius Plate System	LCP Dorsal T, L, Straight Plates 2.4mm Long/Short	Changed Product Group, Product Sub-Group,

Suffix.

SY280	Small & Mini Fragment Plates	Locking Distal Radius Ulna Column Plate System	2.0mm - 2.4mm	Changed Product Group, Product Sub-Group,

Suffix.

SY281	Norian SRS Reactant Pack	Cement Reactant Pack	5cc	Changed Product Group, Product Sub-Group.

SY282	Norian SRS Reactant Pack	Cement Reactant Pack	10cc	Changed Product Group, Product Sub-Group,

Suffix.

SY283	LCP Plate	LCP  Olecranon Plate, left and right, non sterile/sterile	2-20 hole plates	Changed Product Group, Product Sub-Group,

Suffix.

SY284	LCP Plate	LCP Distal humerus plate, dorso-lateral, left and right, 	2-20 hole plates	Changed Product Group, Product Sub-Group,

non sterile/sterile; LCP Distal humerus plate, dorso-	Suffix.

lateral with support, left and right, non sterile/sterile;

LCP Distal humerus plate, medial, left and right, non

sterile/sterile

SY285	AO/ASIF Blade	Helical blade	50-150mm length	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 196 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY292	Facet Interference Screw	Cannulated Screw	7.5mm	Changed Product Group, Product Sub-Group,

Suffix.

SY320	AO/ASIF Screw	Locking Head Screw 2.0mm	Length: 6-40mm	Changed Product Group, Product Sub-Group,

Suffix.

SY321	AO/ASIF Screw	2.4mm Cannulated Screw	Short thread 15-40mm; Long Thread 5-35mm	Changed Product Group, Product Sub-Group,

Suffix.

SY322	AO/ASIF Screws	Headless Compression Screw 2.0mm - 8.0mm	Short Thread 4-40mm; Long Thread 4-40mm	Changed Product Group, Product Sub-Group,

Suffix.

SY331	Norian CRS/SRS Fast Set Putty	5cc	Changed Product Group, Product Sub-Group.

SY332	Norian CRS/SRS Fast Set Putty	10cc	Changed Product Group, Product Sub-Group.

SY333	Chronos Porous B Tricalcium Phosphate Granules	Porous B-TCP Granules	2.5cc	Changed Product Group, Product Sub-Group,

Suffix.

SY350	AO/ASIF Plate	3.5mm Reconstruction Plate	2-24 holes	Changed Product Group, Product Sub-Group,

Suffix.

SY352	Cortex Screws	Cortex Screws pack of four	1.00mm 2.6mm diameter, 5mm - 100mm length	Changed Product Group, Product Sub-Group,

Suffix.

SY353	Cortex Screws	Cortex Screws pack of four	2.7mm - 5.0mm diameter, 5.0mm - 100mm Length	Changed Product Group, Product Sub-Group,

Suffix.

SY354	Small & Mini Fragment Plates	LCP Radial Head Plates	2.4mm	Changed Product Group, Product Sub-Group.

SY358	Cervios Cylinder	Osteoconductive Bone Substitute	F1, 2, 3, 4, 5 & C1, 2, 3, 4, 5	Changed Product Group, Product Sub-Group.

SY376	LCP Plate	Broad Curved Plate or Proximal Femur Plate	12 Hole - 26 Hole: 2 - 16 Hole	Changed Product Group, Product Sub-Group,

Suffix.

SY377	Orthopaedic Cable System	Cable with Crimp	1.0mm - 1.7mm, 750mm	Changed Product Group, Product Sub-Group.

SY378	Trochanteric Reattachment Device	Titanium alloy reattachment device with cables	Standard and Long	Changed Product Group, Product Sub-Group.

SY388	PolyMax Resorbable Fixation System	1.5/2.0 Straight Plates	2-4 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SY389	PolyMax Resorbable Fixation System	1.5/2.0 Adaption Plates	8-20 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SY390	PolyMax Resorbable Fixation System	1.5/2.0 Strut Plates	2 x 10-20 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SY393	PolyMax Resorbable Fixation System	1.5/2.0 Standard Mesh	50 x 50mm	Changed Product Group, Product Sub-Group,

Suffix.

SY394	PolyMax Resorbable Fixation System	1.5/2.0 Standard Mesh	100 x 100mm	Changed Product Group, Product Sub-Group,

Suffix.

SY395	PolyMax Resorbable Fixation System	1.5/2.0 Contourable Mesh	50 x 50mm	Changed Product Group, Product Sub-Group,

Suffix.

SY396	PolyMax Resorbable Fixation System	1.5/2.0 Contourable Mesh	100 x 100mm	Changed Product Group, Product Sub-Group,

Suffix.

SY416	AO/ASIF Intermedullary Nails ASLS	Intermedullary Angular Stable Locking System	4-6mm, 26-125mm	Changed Product Group, Product Sub-Group,

Suffix.

SY417	Titanium Wire, Barb and Needle	Titanium wire surture and needle with titanium alloy 	One size only	Changed Product Group, Product Sub-Group.

barb fixation

Plastic and Reconstructive

Changed Items for Prostheses List Report	Page 197 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

SY386	PolyMax Resorbable Fixation System	1.5/2.0/2.5 Cortex Screws/Tacks Pack of 2	3-8mm	Changed Product Group, Product Sub-Group,

Suffix.

SY387	PolyMax Resorbable Fixation System	1.5/2.0 Cortex Screws/Tacks Pack of 4	3-8mm	Changed Product Group, Product Sub-Group,

Suffix.

SY391	PolyMax Resorbable Fixation System	1.5/2.0 Orbital Floor Plate	S, M, L	Changed Product Group, Product Sub-Group,

Suffix.

SY392	PolyMax Resorbable Fixation System	X, Y, Double Y, Orbital, L Plates	4-10 Holes	Changed Product Group, Product Sub-Group,

Suffix.

SY399	Alveolar Distractor	Vertical mandibular, maxilla alveolar ridge distractor	8-16mm	Changed Product Group, Product Sub-Group,

Suffix.

Tag Medical

General/Miscellaneous

TM035	ANASTOCLIP (VCS)	VCS - Small	0.9mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

TM036	ANASTOCLIPS	Anastorclips - Medium, Large and Extra Large	Medium, Large and Extra Large	Compressed from TM036, TM037, TM038.

Taylor Bryant Pty Ltd

Neurosurgical

TB031	Advanced Spine - Titanium System	Hex Bolt  Titanium	20mm, 25mm, 30mm	Changed Suffix.

TB034	Advanced Spine - Titanium System	Varigrip Lower Hook Titanium (Zone 1, 2, 3)	Zone 1/2/3	Changed Suffix.

TB035	Advanced Spine - Titanium System	Varigrip Lower Hook Titanium (Zone 1, 2, 3)	Zone 1/2/3	Changed Description, Suffix.

TB036	Advanced Spine - Titanium System	Clamp Bolt Titanium	One size only	Changed Product Group, Product Sub-Group,

Suffix.

TB096	Advanced Spine - Titanium System	200 Ser Ti Screws/Titanium	5/0 x (30, 35, 40, 45mm); 7/5 x (35, 40, 45, 50, 55mm);	Changed Product Sub-Group, Suffix.

6/5 x (35, 40, 45, 50, 55mm); 5/8 x (40, 45, 50, 55mm)

TB105	Low Pro Upper Clamp	Upper Clamp	1mm	Changed Product Group, Product Sub-Group,

Suffix.

TB106	Low Pro Upper Clamp	Upper Clamp	14 Degree Left/Right, 7 Degree Left/Right, 2mm, 	Changed Product Group, Product Sub-Group,

4mm, 6mm Increment, 30 Degree Left/Right	Suffix.

TB172	SL Upper Hook	Composition - Titanium	Zone 5	Changed Product Sub-Group.

TB173	SL Upper Hook	Composition - Titanium	Zone 5	Changed Product Name, Product Sub-Group.

TB181	Rabea Peek Vertebral Body Fusion Implant	Composition - peek, spinal implant	4, 5, 6, 7 x 12 x 14mm, 8 x 12 x 16mm	Changed Suffix.

TB182	Tetris Lumbar Fusion Implant System	Titanium or peek, spinal implant	8-12mm x 11mm	Changed Suffix.

TB193	Blackstone Top Locking Plate	Holds bone screws and anterior cervical plate in place	One size only	Changed Product Group, Product Sub-Group,

Suffix.

TB194	Blackstone Medical Inc Anterior Cervical Plate 	Bone Screw, Primary/Rescue Screw	12, 14, 16mm	Changed Product Sub-Group, Suffix.

TB239	Spinal Fixation System	Multi Axial Cross Connector Assembly - 	30mm - 75mm in 5mm increments	Changed Product Sub-Group, Suffix.

Titanium/Lateral Offset

Changed Items for Prostheses List Report	Page 198 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TB252	Signus - Semial	Composition - PEEK	Height (ant) 7.80, 10.40, 13.20; Diameter 38, 43, 48; 	Changed Suffix.

Height (post) 5.4, 8.0, 8.1, 10.8; Angle 5.00, 10.40

TB269	Blackstone - Spacer	Titanium	3/5mm	Changed Product Group, Product Sub-Group,

Suffix.

TB271	Blackstone - Staple	Titanium	2/4/6mm	Changed Product Sub-Group.

TB278	Blackstone - Posterior Cervical System	Cross-Connector	20, 25, 30, 35, 40, 45, 50mm	Changed Product Sub-Group, Suffix.

TB283	Blackstone - Standard Ring Screw	Titanium	One size only	Changed Suffix.

TB303	Nubic	Cervical Fusion Implant in interbody fusion of the 	4x13x14mm, 5x13x14mm, 6x13x14mm, 7x13x14mm,	Changed Suffix.

Cervical Spine	 8x13x14mm

TB311	ICON Modular Spinal Fixation System	Multi-axial body assembly	5.5mm	Changed Product Group, Product Sub-Group,

Suffix.

TB325	Lumbar Screw	ECF in PEEK optima	32, 36, 40, 44, 48, 52, 56, 60, 65mm	Changed Product Sub-Group, Suffix.

TB363	Unity Lumbar Plate	Unity Plate	17-28mm	Changed Product Sub-Group.

Orthopaedic

TB009	Lyderic II Monotige Femoral Stem	Cemented Stainless steel polished	Sizes 6 - 11	Changed Description.

TB064	Groupe Lepine	Bipolar shell and UHMPE liner	42 - 60mm in 1mm increments	Changed Description.

TB067	Groupe Lepine Total Hip Replacement	Cemented Stainless steel polished	Size 6, 7, 9, 9, 10, 11	Changed Description, Suffix.

TB068	MBA / Pavi	Titanium, grit blast with HA	46 - 64mm in 2 mm increments & 0 or 10 Degrees	Changed Product Name, Description, Product

Sub-Group.

TB069	MBA stem 	Titanium, grit blast with HA	1 - 8	Changed Product Name, Description.

TB175	B2C Espace Acetabular Cup	Acetabular cage	Espace Shell 0 degrees peak - diam 50mm, 54mm, 	Changed Description, Product Sub-Group.

58mm, 62mm with plastic insert, Espace Shell 20

degrees peak - diam 50mm, 54mm, 58mm, 62mm

with plastic insert,  Espace Shell 8mm extension - diam

50mm, 54mm, 58mm, 62mm with plastic insert,

Espace Shell 14mm extension - diam 50mm, 54mm,

58mm, 62mm with plastic insert, Espace Shell 20mm

extension - diam 50mm, 54mm, 58mm, 62mm with

plastic insert,

TB177	GL - Alumina U Liner	Ceramic Insert Biolox	46-64mm (increment by 2mm)	Changed Description.

TB183	Lyderic II HA Modular Stem	Titanium, plasma with HA	Size 6-11	Changed Description, Product Sub-Group,

Suffix.

TB197	SR Hand Implant System	SR Hand MCP/PIP/TMC (Basal Thumb) Implants - 	XS/S/M/L/XL, 1,2,3,4,5	Changed Product Group, Product Sub-Group.

CoCr- Titanium Alloy, UHMWPE

TB220	10/12/14 Alumina Head BOTA	Alumina Head biolox forte	28mm (-3.5mm, 0mm, +3.5mm); 32mm (-4mm, 	Changed Description.

0mm, +4mm)

TB232	Toe Joint	Metallic Hemiarthroplasty resurfacing prosthesis for 	8mm - 23 mm	Changed Product Group, Product Sub-Group.

the Metatarsophalangeal Joint

TB248	SCS Distal Radius Plate System	Left and Right, Tined	Small, Large	Changed Product Name, Product Group,

Product Sub-Group.

TB250	Diamond Plate/Carpal Button	Carpal Fusion Plate	Large, Small	Changed Product Name, Product Group,

Product Sub-Group.

Changed Items for Prostheses List Report	Page 199 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TB253	Total Wrist Implant System	Left and Right Radial Components	Small, Medium, Large	Changed Product Name, Product Group,

Product Sub-Group.

TB254	 Total Wrist Implant System	Carpal Screws	15, 18, 22, 26, 30mm	Changed Product Name, Product Group,

Product Sub-Group.

TB255	Total Wrist Implant System	Carpal Ball	Small, Medium, Large	Changed Product Name, Product Group,

Product Sub-Group, Suffix.

TB256	Total Wrist Implant System	Carpal Component	Small, Medium, Large	Changed Product Name, Product Group,

Product Sub-Group, Suffix.

TB257	Preflex	MCP Finger Joint Implant	00/10/20/30/40/50/60mm	Changed Product Name, Product Group,

Product Sub-Group.

TB304	HemiCAP Contoured Articular Knee System 	Articular resurfacing component - CoCr with titanium 	Articular Component 15mm - 0.5mm x 0.5mm to 	Changed Product Name, Description, Product

Resurfacing Component 	plasma spray 	2.0mm x 2.0mm offset;  Articular Component 20mm -	Sub-Group.

1.0mm x 1.0mm to 4.0mm x 4.0mm offset	Amended benefit.

TB305	HemiCAP Contoured Articular Knee System Fixation 	Proximal Morse taper, fully cannulated, tapered, 	Component for 15mm & 20mm Articular Components	Changed Product Name, Description, Product

component 	threaded fixation component - Titanium with titanium 	 Screw 9.5mm Dia x 20mm	Group, Product Sub-Group.

plasma spray	Amended benefit with $200.00 gap.

TB306	HemiCAP Contoured Articular Resurfacing Shoulder 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 2.5mm x 2.5mm to 	Changed Product Group, Product Sub-Group.

System	5.0mm x 5.0mm offset;  Articular Component 30mm -

4.5mm x 4.5mm to 7.0mm x 7.0mm offset; Articular

Component 35mm - 6.0mm x 6.0mm to 9.5mm x

9.5mm; Articular Component 40mm - 8.0mm x

8.0mm to 12.0mm x 12.0mm

TB307	HemiCAP Contoured Articular Resurfacing Shoulder 	Fixation Screw - Titanium	Fixation component for 25mm, 30mm, 35mm, 40mm 	Changed Product Group, Product Sub-Group,

System	Artuclar Components Screw 10.5mm Dia & 12.5mm 	Suffix.

Dia & 13.7mm Dia

TB309	HemiCAP Contoured Articular Resurfacing Hip System	Fixation Component - Titanium	Fixation component for 25mm,30mm, 35mm Artuclar	Changed Product Group, Product Sub-Group.

Components

TB323	I.T.S. Volar Angle Locking Plate (VAL)	Cancellous Stabilization Screw	D=3.5mm, Length = 14mm-30mm (with incremental 	Changed Product Group, Product Sub-Group.

of 2)

TB324	I.T.S. Volar Angle Locking Plate (VAL)	Cortical Screw	D=3.5mm, Length=14mm-24mm (with incremental 	Changed Product Group, Product Sub-Group.

of 2)

TB326	Metaflex	low compression screw	Diameter: 1.2, 1.4, 1.6, 2.0 - 2.5mm, Length: 10mm - 	Changed Product Name, Description, Size,

30mm	Product Group, Product Sub-Group, Suffix.

TB327	MiniFix	Finger Mini Fixator System	One size	Changed Product Group, Product Sub-Group.

TB328	MCP Finger Prosthesis "Ariadna"	Distal part, Stainless Steel	1,2 or3	Changed Product Group, Product Sub-Group.

TB329	PIP Finger Prosthesis 'DGT"	Proximal part Stainless Steel textured in Cobalt 	1,2 or3	Changed Product Group, Product Sub-Group.

TB330	MCP Finger Prosthesis "Ariadna"	Proximal part, Stainless Steel	1,2,or 3	Changed Product Group, Product Sub-Group.

TB331	RadioFix	Radio Fixator System	One size	Changed Product Group, Product Sub-Group.

TB333	Trapezio Metacarpal Prosthesis DLC	Stem - Cobalt Chrome	1 or 2	Changed Product Group, Product Sub-Group.

TB334	Carpal Screw	Titanium	2.5mm diameter in sizes 12mm - 20mm length	Changed Product Group, Product Sub-Group.

TB335	Elektra Stem	Cobalt Chromium/Hydroxyapatite coated	6-8mm	Changed Product Group, Product Sub-Group,

Suffix.

TB336	Elektra Neck	Cobalt Chromium	Extra Short, Short, Medium, Long	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 200 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TB337	Memofix Staples	Nitinol	10-17mm x 12-20mm Length	Changed Product Group, Product Sub-Group,

Suffix.

TB338	Trapezio Metacarpal Prosthesis DLC	Cup, Polyethylene	One size only	Changed Product Group, Product Sub-Group,

Suffix.

TB339	Trapezio Metacarpal Prosthesis DLC	Neck Cobalt Chrome	Short, Medium or long	Changed Product Group, Product Sub-Group,

Suffix.

TB340	Poing Fix	Wrist Fixator System	One size	Changed Product Group, Product Sub-Group.

TB341	Wrist Fixator PFII	Wrist Fixator System	One size	Changed Product Group, Product Sub-Group.

TB342	MicroFix	Finger Mini Fixator System	one size	Changed Product Group, Product Sub-Group.

TB343	Percufix	Titanium	Diameter: 2-2.5mm, Length 22-40mm	Changed Product Name.

TB344	PIP Finger Prosthesis "DGT"	Distal part, Stainless Steel texture with Cobalt Chrome	1,2 or3	Changed Product Group, Product Sub-Group.

TB346	Elektra Cup	Cobalt Chromium and Hydroxyapatite coating	One size only	Changed Product Group, Product Sub-Group,

Suffix.

TB347	Hemi CAP Articular Resurfacing Great Toe System	Articular Component	12mm (1-2mm x 1.5-3mm offset), 15mm (1.5-	Changed Product Group, Product Sub-Group,

2.5mm x 2.5-4.5mm offset)	Suffix.

TB348	Hemi CAP Articular Resurfacing Great Toe System	Fixation Component	8mm x 16mm, 9.5mm x 18mm	Changed Product Group, Product Sub-Group,

Suffix.

TB349	Kainos	Granules	1 x 2cm3	Changed Product Group, Product Sub-Group,

Suffix.

TB350	Kainos	Granules	1 x 3cm3	Changed Product Group, Product Sub-Group,

Suffix.

TB351	Kainos	Granules	1x5cm3	Changed Product Group, Product Sub-Group.

TB352	Kainos	Granules	1x6cm3	Changed Product Group, Product Sub-Group.

TB353	Kainos	Granules	1x10cm3	Changed Product Group, Product Sub-Group.

TB354	Kainos	Granules	1x16cm3	Changed Product Group, Product Sub-Group.

TB355	Kainos	Granules	1x20cm3	Changed Product Group, Product Sub-Group.

TB356	Kainos	Granules	1x30cm3	Changed Product Group, Product Sub-Group.

TB357	Kainos	Blocks	4-8x13x14	Changed Product Group, Product Sub-Group.

TB358	Screws	Diamond Carpal Screws	12, 14, 16mm	Changed Product Group, Product Sub-Group.

TB366	Pavi / Targos Femoral Stem	Titanium, grit blast with HA	One piece varus neck in sizes 10-16 in lengths 140 - 	Changed Description.

170mm.  One piece standard neck in sizes 9 -16 ,

lengths 140 - 170mm.

TB367	Fassier-Duval Telescopic IM System Component: 	The Fassier-Dual Telescopic IM System is an 	The syste is composed fo a total of 108 rods in 9 	Changed Description, Size, Product Group,

endomedular nail designed for patients suffering from 	different diameters per type.  The nail is 	Product Sub-Group.

Osteogenesis Impecfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy (Ti6A14V ASTM-136)

Congenital Tibial Pseudoarthosis, Limb lengthening 	and medical grade Stainless Steel (315L, ASTM 138).

over nail, Segmental Tumor removal and other bone 	It is available in five diameters: 3.2, 4,4.8,5.6 and 6.4

deform

Changed Items for Prostheses List Report	Page 201 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TB368	Fassier-Duval Telescopic IM System Component: 	The Fassier-Duval Telescopic IM System is an 	The system is composed of a total of 108 rods in 9 	Changed Description, Size, Product Group,

Female	endomedular nail designed for patients suffering from 	different diameters per type.  The nail is 	Product Sub-Group.

Osteogenesis Imperfecta (OI), Skeletal Displasia, 	manufactured in both Ti alloy (Ti6A14V ASTM-136)

Congenital Tibial Pseudoarthrosis, Limb lengthening 	and medical grade stainless steel (316L, ASTM 138).

over nail, Segmental Tumor removal and other bone 	It is available in five diameters: 3.2,4.4,8,5.6 and

defo

TB373	Stability Sigmoid Notch Total DRUJ System / Sigmoid 	The Sigmoid Notch Radial Screw is a low profile self 	The Sigmoid Notch screw is available in 22m 	Changed Description, Product Group, Product

Notch Screw	tapping cortical screw made of implantable CoCr.  It is	increments from 18mm - 32mm and has a diameter 	Sub-Group.

designed to be placed bi cortical in the radius and is 	of approx 4mm.

introduced into the Radial stem thru a hole.  It is placed

into the stem and tightened down

TB374	AutoFIX	The Sbi AutoFIX Twin Pitch Cannulated Compression 	2.0mm and 2.5mm Cannulated Compression Screw	Changed Description, Product Group, Product

Screw System implants are indicated in the treatment 	Sub-Group, Suffix.

of fractures, nonunions, pseudarthrosis and

degenerative changes, as well as corrective

osteotomies geared towards a functionally stable

Terumo Corporation Australia

Cardio-thoracic

TU001	Tsunami Gold	Stainless Steel mounted on balloon catheter	Diameter 2.0mm - 4.0mm, Length 8mm - 30mm 	Changed Product Name, Size, Product Sub-

Group.

Vascular

TU002	Anaconda Endovascular Graft System	Bifurcated Aortic System, Polyester/Nitinol	18 - 34mm	Changed Product Sub-Group, Suffix.

TU003	Anaconda Endovascular Graft System	Aortic Extension Cuff, Polyester/Nitinol	18 - 34mm	Changed Product Sub-Group, Suffix.

TU004	Anaconda Endovascular Graft System	Iliac Extension Cuff, Polyester/Nitinol	8 - 18mm	Changed Product Sub-Group, Suffix.

TU005	Anaconda Endovascular Graft System	Iliac Leg, Polyester/Nitinol	8 - 18mm	Changed Product Sub-Group, Suffix.

TU006	Twillweave Graft	Straight, Polyester, Woven, Unsealed	6-24mm x 50-60cm	Changed Product Sub-Group, Suffix.

TU007	Twillweave Graft	Bifurcate, Polyester, Woven, Unsealed	12mm x 6mm x 45cm to 24mm x 12mm x 45cm	Changed Product Sub-Group, Suffix.

TU008	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	6 to10mm x 30cm	Changed Product Sub-Group, Suffix.

Fluoropolymer/polyester, Knitted

TU009	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	6 to10mm x 40 to 70cm	Changed Product Sub-Group, Suffix.

Fluoropolymer/polyester, Knitted

TU010	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. 	6 to10mm x 30cm	Changed Product Sub-Group, Suffix.

Fluoropolymer/polyester, Knitted

TU011	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. 	6 to10mm x 40 to 70cm	Changed Product Sub-Group, Suffix.

Fluoropolymer/polyester, Knitted

TU012	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Knitted	0.6 x 7.5cm to 1.5 x 7.5cm	Changed Product Sub-Group, Suffix.

TU013	Gelweave Graft	Bifurcated, Polyester, Woven	12mmx 6mmx 45 cm to 24mmx12mm x 45cm	Changed Product Sub-Group, Suffix.

TU014	Gelsoft Plus Graft	Bifurcated, Polyester, Knitted	12mmx6mmx45cm to 24mmx12mmx45cm	Changed Product Sub-Group, Suffix.

TU015	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 40cm	Changed Product Sub-Group, Suffix.

TU016	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 75m	Changed Product Sub-Group, Suffix.

TU017	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 100cm	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 202 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TU018	Gelsoft Plus Graft	Axillofemoral, Polyester, Knitted	8x8mm/100x60cm; 8x7mm/90x40cm; 	Changed Product Sub-Group, Suffix.

10x8mm/90x40cm

TU019	Gelsoft Plus Graft	Femorofemoral, Polyester, Knitted	6mmx30cm to  8mmx40cm	Changed Product Sub-Group, Suffix.

TU020	Gelsoft Plus Graft	Straight, Polyester, Knitted	6 - 24mm x 12.5 - 30cm	Changed Product Sub-Group, Suffix.

TU021	Gelsoft Plus Graft	Straight, Polyester, Knitted	6-24mm x 50-60cm	Changed Product Sub-Group, Suffix.

TU022	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 10-30cm	Changed Product Sub-Group, Suffix.

TU023	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 40-60cm	Changed Product Sub-Group, Suffix.

TU024	Gelsoft Patch	Polyester, Knitted	0.5 x 1.5cm to 10 x 1.5cm	Changed Product Sub-Group, Suffix.

TU025	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	Changed Product Sub-Group, Suffix.

TU026	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	Changed Product Sub-Group, Suffix.

TU027	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	Changed Product Sub-Group, Suffix.

TU028	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	Changed Product Sub-Group, Suffix.

TU029	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally 	5 to 10mm x 10 to 40cm	Changed Product Sub-Group, Suffix.

Reinforcement, PTFE

TU030	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally 	5 to 10mm x 50 to 80cm	Changed Product Sub-Group, Suffix.

Reinforcement, PTFE

TU031	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally Reinforced, 	5 to 10mm x 10 to 40cm	Changed Product Sub-Group, Suffix.

PTFE

TU032	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally Reinforced, 	5 to 10mm x 60 to 80cm	Changed Product Sub-Group, Suffix.

PTFE

TU033	SEALPTFE Graft	Standard Wall, Tapered, Sealed, PTFE	4 to 7mm Taper x 40 to 50cm	Changed Product Sub-Group, Suffix.

TU035	SEALPTFE Graft	Thin Wall, Straight, Sealed externally Reinforced, 	5 to 10mm x 50cm	Changed Product Sub-Group, Suffix.

Vascular Artificial Arteries/Prostheses of PTFE,

Sealed with Gelatin

TU039	Rapidax™ Rapid Access Haemodialysis	Triple layered self sealing haemodialysis Access 	6mm x 20-50cm	Changed Product Sub-Group, Suffix.

Graft. ePTFE internal and external layer with

proprietary elastomer inner layer - Straight

TU040	Rapidax™ Rapid Access Haemodialysis	Triple layered self sealing haemodialysis Access 	6mm x 30-50cm	Changed Product Sub-Group, Suffix.

Graft. ePTFE internal and external layer with

proprietary elastomer inner layer - Per-curved

TiMax Surgical Pty Ltd

Neurosurgical

TI066	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLGA/TMC 	10-20mm	Changed Product Sub-Group, Suffix.

Copolymer Screws

TI068	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC 	19-60mm	Changed Suffix.

TI069	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC 	62.5-110mm	Changed Suffix.

TI096	Parallax Vertebroplasty Bone Cement	Sterile Sealed Percutaneous Vertebroplasty Bone 	Standard	Amended benefit.

Cement

Orthopaedic

Changed Items for Prostheses List Report	Page 203 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TI043	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5-2.5 mesh plates, 14 x 14 holes; 1.5mm baby mesh 	Changed Product Group, Product Sub-Group,

Acid Trimethylene Carbonate Copolymer	plate 14 x 14 holes	Suffix.

TI044	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5-2.5 mesh plate, 7 x 7 holes; 1.5mm baby mesh 	Changed Product Group, Product Sub-Group,

Acid Trimethylene Carbonate Copolymer	plate 7 x 7 holes	Suffix.

TI045	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5mm baby plates:- 20 hole, c-plate & x-plate 7 hole, 	Changed Product Group, Product Sub-Group,

Acid Trimethylene Carbonate Copolymer	2 hole	Suffix.

TI046	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5mm plates:- 20 holes, c-plate & x-plate 7 hole, L-	Changed Product Group, Product Sub-Group,

Acid Trimethylene Carbonate Copolymer	plate 7 hole L & R. burrhole	Suffix.

TI047	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  Polylactic 	1.5-2.5mm plates:- 2-10 hole plates and extended, c-	Changed Product Group, Product Sub-Group,

Acid Trimethylene Carbonate Copolymer	plate & x-plate 7 hole, H-plate 8 hole, orthognathic 	Suffix.

hole and L-plate L & R 7 hole

TI048	CPS Screws	Polylactic acid trimethylene carbonate copolymer	1.5-3.1mm screw ring 5 pcs	Changed Product Group, Product Sub-Group,

Suffix.

TI050	CPS Screws	Polylactic acid trimethylene carbonate copolymer	Hexalon ACL screw 7-10 x 20-30mm	Changed Product Group, Product Sub-Group,

Suffix.

TI051	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 6 & 8 hole	Changed Product Group, Product Sub-Group,

Suffix.

TI052	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 2 & 2.5 systems 4,6,8, 10 hole	Changed Product Group, Product Sub-Group,

Suffix.

TI053	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Pin 1.5 & 2 mm dia x 20-50 mm long	Changed Product Group, Product Sub-Group,

Suffix.

TI062	CPS Bioabsorbable Fixation System	Trinion meniscus screw: PLGA/TMC copolymer	10 & 12mm long	Changed Product Group, Product Sub-Group,

Suffix.

TI090	AutoCuff System - Suture Cartridge	SmartStitch Magnum Wire - Ultra high tensile strength	.	Changed Product Group, Product Sub-Group,

Suffix.

TI091	AutoCuff System - Suture Cartridge	SmartStitch Suture Cartridge	Number 2 braided polyester	Changed Product Group, Product Sub-Group.

TI092	AutoCuff System	Magnum Knotless Implant - w/ inserter handle	One Size Only	Changed Product Group, Product Sub-Group.

TI093	Magnum Arthroscopic Knotless Anchor Implant	Arthroscopically implanted stainless steel suture 	1 - 2.8mm x 8.0mm x 5.0mm;  2 - 2.8mm x 13mm x 	Changed Product Group, Product Sub-Group,

anchor for rotator cuff or labrum repair	7.2mm	Suffix.

TI094	Atlantech graft fixation screw - titanium	Titanium ACL Screw	7 x 20mm, 7 x 25mm, 7 x 30mm,  8 x 20mm, 8 x 	Changed Product Group, Product Sub-Group.

25mm, 8 x 30mm, 9 x 20mm, 9 x 30mm

TI095	CPS Screw Hexalon Biodegradable ACL/PCL 	Biodegradable ACL/PCL Recon Screw 	6 x 20, 6 x 25, 6 x 30, 7 x 20, 7 x 25, 7 x 30, 8 x 20, 8 x 	Changed Product Group, Product Sub-Group,

Reconstruction	PLLA/PGA/TMC	25, 8 x 30, 9 x 20, 9 x 25, 9 x 30, 10 x 30	Suffix.

Plastic and Reconstructive

TI056	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 6-23mm, 3.1 x 6-8mm	Changed Product Group, Product Sub-Group,

Suffix.

TI057	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 3.1 x 6 - 30mm and 2.5 x 30mm	Changed Product Group, Product Sub-Group,

Suffix.

TI058	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 40mm, 2.5 x 30mm, 4.5 x 90mm	Changed Product Group, Product Sub-Group,

Suffix.

TI059	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 4.5 x 20-55mm, 3.1 x 40mm	Changed Product Group, Product Sub-Group,

Suffix.

TI060	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2 x 9-19mm, 2.5 x 10-23mm and 2.8 x 10 - 	Changed Product Group, Product Sub-Group,

23mm	Suffix.

Changed Items for Prostheses List Report	Page 204 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TI061	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 1.5 - 2.5mm dia x 5-8mm long	Changed Product Group, Product Sub-Group,

Suffix.

Tornier Pty Ltd

Orthopaedic

TO001	Cheville Salto Ankle Prostheses	Components include tibial, mobile bearing, talar, 	Tibial/Talar Sizes 1small to 3 = x-large. Mobile 	Changed Product Group.

malleolar for use as a total ankle prostheses, Ti CoCr	Bearing Thickness 4,5,6,7 mm. Malleoloar Sizes 1 & 2

TO002	Aequalis Primary Shoulder Prostheses	Includes Glenoid component, Humeral Stem & Screw 	6.5-15mm - 1mm increm wide, 66-167mm long	Changed Product Group, Product Sub-Group.

+ Humeral Head, Ti CoCr

TO003	Aequalis Primary Shoulder Prostheses	Humeral Head CoCr, includes the Glenoid component,	Diameter: 37,39,41,43,46,48,50,52mm	Changed Product Group, Product Sub-Group.

Humeral Stem & Screw + Humeral Head.

TO004	Aequalis Primary Shoulder Prostheses	UHMWPE Keeled Glenoid Component	31mm,35mm,39mm dia (small, medium & large)	Changed Product Group, Product Sub-Group,

Suffix.

TO005	Radial Head Prostheses 	Ti CoCr, Elbow prostheses, consists of Radial Stem + 	Stem 6.5mm & 8mm Mod Head size 19mm & 22mm	Changed Product Group, Product Sub-Group.

Cup.

TO006	Bone Plug	UHMWPE - Cement Plug	24mm	Changed Product Group, Product Sub-Group.

TO007	HLS Uni Femoral Component 	Femoral Component - Cemented, CoCr	1 - 4 CoCr	Changed Product Name, Description.

Amended benefit.

TO008	HLS Noetos Femoral Component	Femoral Component, cemented,  CoCr, posterior 	1 - 6 CoCr	Changed Product Name, Description, Product

stabilised using midline condyle	Sub-Group.

Amended benefit.

TO009	HLS Noetos System patella 	Patella, cemented, UHMWPE 	small, medium, large	Changed Product Name, Description.

Amended benefit.

TO010	Aequalis Shoulder Prostheses Reverse	Ti,CoCr, UHMWPE Reverse Humeral Stem, Gleno 	Stem 6.5-15mm dia, 100-210mm long. Base plate, 	Changed Product Group, Suffix.

sphere, metaphysis, base plate, insert & fixation screws	sphere,metaphysis (diameter 36 & 42mm). Insert (dia

36 & 42mm x6,9,12mm high. Screws dia 4.5 x 18-

50mm

TO011	Aequalis Shoulder Prostheses Reverse	CoCr Reverse Humeral Neck	diameter 36 & 42mm wide x 9mm high	Changed Product Group, Product Sub-Group,

Suffix.

TO012	Tornier Latitude Total Elbow Prosthesis	Humeral Spool, Humeral Stem, Ulnar Stem	Humeral Spool - (Small, Medium, Large) (Anterior, 	Changed Product Group.

Posterior, Centered) (Left, Right); Humeral Stem -

(Small, Medium, Large) (Left, Right); Ulnar Stem -

(Small, Medium, Large) (Left, Right)

TO013	Tornier Latitude Total Elbow Prosthesis	Ulnar Cap	Small, Medium, Large	Changed Product Group, Product Sub-Group.

TO014	Tornier Latitude Total Elbow Prosthesis	Radial Head, Radial Stem	Radial Head - (Small, Medium, Large); Radial Stem - 	Changed Product Group, Product Sub-Group.

(Diameter - 5mm, 6.5mm)

TO015	Aequalis Pegged Glenoid USA	Pegged Glenoid Polyethylene (UHMWPE)	Small, Medium, Large, Extra Large	Changed Product Group, Product Sub-Group,

Suffix.

TO016	HLS Evolution Uni Tibial insert  	Uni Tibial Insert All Polyethylene, Cemented	1 - 6 UHMWPE	Changed Product Name, Description.

Amended benefit.

TO017	HLS Evolution Uni Tibial insert  	Uni Tibial Insert, Cemented, alloy, modular, CoCr	1 - 6 UHMWPE, CoCr	Changed Product Name, Description.

Amended benefit.

TO018	HLS Noetos Femoral Component	Femoral Component, uncemented,  HA coated, CoCr, 	1 - 6 CoCr	Changed Product Name, Description, Product

posterior stabilised using midline condyle	Sub-Group.

Amended benefit with $300.00 gap.

Changed Items for Prostheses List Report	Page 205 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

TO021	HLS Noetos Revision Femoral Component 	Femoral Component, cemented,  CoCr, posterior 	1 to 6 right and left	Changed Product Name, Description.

stabilised using midline condyle	Amended benefit.

TO022	HLS Noetos Revision Knee augments 	Distal and Posterior Femoral and tibial Wedges and 	1 to 6 Thickness 4, 8 and 12	Compressed from TO022, TO023.

blocks, CoCr

TO024	HLS Noetos Revision Stem Extender, Sleeve and other 	Stem Adaptor (Femoral Sledge) CoCr	5, 7 and 9 degrees	Changed Product Name.

Couplings 	Amended benefit.

TO025	HLS Hoetos Revision Knee	Sleeve stem adaptor (flange piece) CoCr	5, 7 and 9 degrees, right and left	Amended benefit.

TO026	HLS Noetos Revision Tibial Baseplate 	Tibial Tray, CoCr, cemented, 	1 to 6	Changed Product Name, Description, Size.

Amended benefit.

TO027	HLS Noetos  Revision Tibial Spacers 	Tibial Spacer (including 2 screws) CoCr	1 to 6 thickness 4, 8 and 12mm	Changed Product Name.

Amended benefit.

TO028	HLS Noetos Revision Stems	Femoral and Tibial extension stems CoCr	1 to 6 Length 75 and 150mm	Changed Product Name.

Amended benefit.

TO029	Aequalis Fracture Shoulder HA Coated	Fracture shoulder humeral stem Cobalt Chrome, HA 	Diam 6.5mm - 130mm and 170mm lengths, Diam 	Changed Product Group, Product Sub-Group.

coated	9mm - 130mm, 180mm and 210mm lengths. Diam

12mm - 130mm, 180mm and 210mm lengths

Trans-Pacific Healthcare Pty Ltd

Neurosurgical

TP001	TPH - Fehling Formar Cages	Trapezoid frames to replace removed discs in the 	Changed Product Group, Product Sub-Group,

region of the cervical vertebrae. Made of PEEK 	Suffix.

Orthopaedic

TR001	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	2.5ml	Changed Product Group, Product Sub-Group,

Suffix.

TR002	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	5ml	Changed Product Group, Product Sub-Group.

TR003	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	10ml	Changed Product Group, Product Sub-Group.

TR004	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	2.5-3ml	Changed Product Group, Product Sub-Group,

Suffix.

TR005	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	5ml	Changed Product Group, Product Sub-Group,

Suffix.

TR006	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	10ml	Changed Product Group, Product Sub-Group,

Suffix.

Trewavis Surgical Instruments Pty Ltd

Orthopaedic

TS001	Trewavis Surgical Kirschner Wires	Composition: Stainless Steel, Model No: 200-000-A to 	Dia 0.7-2.8mm, Length 100-230mm	Changed Product Group, Product Sub-Group.

200-930-K

TS002	Trewavis Surgical Steinmann Pins	Composition:  Stainless Steel, Model Nos: 200 - 950-L 	Dia 3.0 - 5.0mm	Changed Product Group, Product Sub-Group.

to 200-970-Q

Ultimate Medical Pty Ltd

General/Miscellaneous

Changed Items for Prostheses List Report	Page 206 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

UM001	LA Bubble	Balloon based local anaesthetic infusion system	One size only	Changed Product Group, Product Sub-Group.

Amended benefit.

W L Gore & Associates

Cardio-thoracic

GT128	Helex Septal Occluder	ePTFE	15-35mm	Changed Product Group, Product Sub-Group.

General/Miscellaneous

GT001	GORE - Seamguard Staple Line Reinforcement 	1pair of sleeves ePTFE	One Size Only	Changed Product Group, Product Sub-Group,

Material	Suffix.

Amended benefit.

GT065	Gore-Tex ePTFE Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 2.5 x 10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT066	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 5 x 10cm (Rectangle), 5 x 10cm (Key	Changed Product Group, Product Sub-Group,

Hole)	Suffix.

Amended benefit.

GT067	Gore-Tex Mycro-Mesh	ePTFE	1mm Thickness 5 x 13cm (Configured for Vaginal 	Changed Product Group, Product Sub-Group,

Prolapse), 5 x 15cm	Suffix.

Amended benefit.

GT068	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 18 x 24cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT069	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 20 x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT070	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 26 x 34cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT071	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 10 x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT072	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 15 x 19cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT074	Gore-Tex  Mycro-Mesh Biomaterial	Configured for Inguinal Hernia repair ePTFE	1mm Thickness 6cm x 12cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT084	Gore-Tex MycroMesh Plus 	ePTFE	1mm Thickness 20cm x 30	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $149.00 gap.

GT087	Gore-Tex MycroMesh Plus 	ePTFE	1mm thickness Oval 26 x 34cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $203.00 gap.

GT092	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 7.5 x 10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Changed Items for Prostheses List Report	Page 207 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GT093	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 8 x 12cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT094	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 10 x 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

GT095	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 15.0 x 19.0cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT096	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 18 x 24cm	Changed Product Group, Product Sub-Group.

Amended benefit.

GT097	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 20 x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT098	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 26 x 34cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT099	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 10 x 15cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT100	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 15 x 19cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $286.00 gap.

GT101	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 18 x 24cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT102	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 20 x 30cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT103	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 26 x 34cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT104	Gore-Tex DualMesh PLUS  	ePTFE	1mm Thickness 7.5 x 10cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $37.00 gap.

GT107	Gore-Tex DualMesh PLUS  	ePTFE	15.0 x 19.0cm x 1mm Oval	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $127.00 gap.

GT116	Gore Biliary Endoprostheses	ePTFE	Short or Long Catheter 8-10mmx4-8cm	Changed Product Group, Product Sub-Group.

Amended benefit with $580.00 gap.

GT201	Dualmesh Plus Biomaterial	ePTFE	8cm x 12cm x 1mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $43.00 gap.

GT202	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 1mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $28.00 gap.

Changed Items for Prostheses List Report	Page 208 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GT203	Dualmesh Plus Biomaterial	ePTFE	18cm x 24cm x 1mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $201.00 gap.

GT204	Dualmesh Plus Biomaterial	ePTFE	20cm x 30cm x 1mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $273.00 gap.

GT205	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 1mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $413.00 gap.

GT206	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 2mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $97.00 gap.

GT207	Dualmesh Plus Biomaterial	ePTFE, oval	15cm x 19cm x 2mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $469.00 gap.

GT208	Dualmesh Plus Biomaterial	ePTFE,	18cm x 24cm x 2mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $522.00 gap.

GT209	Dualmesh Plus Biomaterial	ePTFE,	20cm x 30cm x 2mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $586.00 gap.

GT210	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 2mm	Changed Product Group, Product Sub-Group.

Amended benefit with $752.00 gap.

Neurosurgical

GT054	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6 x 6cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

GT055	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6cm x 12cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

Vascular

GT020	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 5cm Length; 	Changed Product Sub-Group, Suffix.

Hemobahn 6 - 13mm Diameter, 5cm Length

GT021	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 10cm Length; 	Changed Product Sub-Group, Suffix.

Hemobahn 6 - 13mm Diameter, 10cm Length

GT022	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 15cm Length; 	Changed Product Sub-Group, Suffix.

Hemobahn 6 - 11mm Diameter, 15cm Length

GT023	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	26-40mm Diameter x 15-20cm Lengths	Changed Product Sub-Group, Suffix.

Amended benefit.

GT024	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Trunk - 	23-28.5mm Diameter, 14-18cm Length	Changed Product Sub-Group, Suffix.

Ipsilateral Leg

GT029	Gore Tips Endoprosthesis	ePTFE	8-12mm Diameter 4-8cm Graft-Lined Length 2cm 	Changed Product Sub-Group, Suffix.

Unlined Length

GT188	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - 	Diameter 12 - 14.5mm x 10 x 14cm Length	Changed Product Sub-Group, Suffix.

Contralateral Leg

Changed Items for Prostheses List Report	Page 209 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

GT189	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Aortic 	Diameter 23 - 28.5mm, Length 3.3cm	Changed Product Sub-Group, Suffix.

Extender

GT190	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - Iliac 	Diameter 10 - 14.5mm, Length 7cm	Changed Product Sub-Group, Suffix.

Extender

GT191	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	Diameter 26-40mm x  10cm Length	Changed Product Sub-Group, Suffix.

Amended benefit with $2,345.00 gap.

William A Cook Australia Pty Ltd

General/Miscellaneous

WC001	Cotton-Huibregste Biliary Stent Set	7 - 11.5Fr, Length 5 - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC006	Cotton-Leung Biliary Stent Only	6 - 11.5Fr, Length 3 - 20cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC008	Cotton-Huibregste Biliary Stent Only	7 - 11.5Fr, Length 5 - 21cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC010	Zimmon Pancreatic Stent Only	Plastic pancreatic stent	Diameters 5 - 7Fr, Length 2 - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC012	Zimmon Biliary Stent Only	5 - 11.5Fr, Length 3 - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC013	Zimmon Biliary Stent Set	Double pigtail plastic biliary stent with delivery system	5 - 11.5Fr, Length 2 - 18cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC017	Cotton-Leung Biliary Stent Set	nil provided	7 - 11.5Fr, Length 5 - 18cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

WC062	Biliary Stents	Miller Set (UBSS-MLR). Double Pigtail Stent for 	Stent: 10,12,14 Fr Stent Length: 2.5,5,7.5 cm Positioner 	Changed Product Group, Product Sub-Group.

Drainage of bile from the Common Duct into the 	Length: 25cm.	Amended benefit.

Duodenum

WC064	Tannenbaum Biliary Stent only	Plastic biliary stent with proximal and distal flaps	Diameter: 8.5,10,11.5 FR. Length Between Flaps: 5 --	Changed Product Group, Product Sub-Group.

>15 cm	Amended benefit.

WC068	Esophageal Anti-reflux Stent	Self Expanding Metal Stent with Polyurethane coating 	Flared End Diameter: 25mm	Changed Product Group, Product Sub-Group.

and Dua anti-reflux valve	Shaft Diameter: 18mm	Amended benefit.

Length: 8, 10, 12, 14cm

WC070	Gastrostomy Tube	PEG Balloon Replacement Tube - Single	18, 24fr	Changed Product Group, Product Sub-Group.

Amended benefit.

WC071	Nasobiliary Drainage Set	Biliary/Pancreatic	DRAINAGE CATHETER Fr size:  5,6,7,8.5 Length:  	Changed Product Group, Product Sub-Group.

250cm Sideports: 5cm WIRE GUIDE Diameter: .035 	Amended benefit.

inch Length: 480cm Color Connection purple

WC072	Passport Low Profile Device	Enteral/Gastrostomy	FEEDING TUBE French Sizes: 20.0, 24.0 Length: 	Changed Product Group, Product Sub-Group.

1.2,1.7,2.4,3.4,4.4 cm	Amended benefit.

WC078	Cook Biliary Stents	Composition Plastic, includes Stent, Wireguide & 	French 7.0, length 4cm	Changed Product Group, Product Sub-Group.

Positioner	Amended benefit.

WC079	Zimmon Pancreatic Stent	Single pigtail with radio-opaque band	Diameter 4 - 10FR, Length 2 - 18cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC080	Zimmon Pancreatic Stent	Single pigtail plastic biliary stent with long curl	Diameter 5 - 7 FR, Length 2 - 15cm	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 210 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

WC098	Cook Jejeunostomy Catheters	Composition - Catheter Radiopaque Stripe, includes 	12fr, length 66cm	Changed Product Group, Product Sub-Group.

Wireguide, Airplug, Fixation Device	Amended benefit.

WC099	Cook Jejunostomy Catheters	Composition - Catheter Radiopaque Stripe, includes 	9fr, Length 24cm	Changed Product Group, Product Sub-Group.

Wireguide, Airplug, Fixation Device	Amended benefit.

WC100	Colonic Z Stent with Introduction System	Composition of Stent Stainless Steel, includes Stent 	Dia 25mm, length 4, 6, 8, 10, 12cm	Changed Product Group, Product Sub-Group.

Introducer Set	Amended benefit.

WC106	Cotton-Leung Biliary Stent Set	Polyethylene Stent preloaded on an Oasis Introduction 	Diameter 7 - 11.5 FR,  length 5 - 15cm	Changed Product Group, Product Sub-Group.

System	Amended benefit.

WC108	Geenan Pancreatic Stent Set	Radiopaque Polyethylene Stent with or without ductal 	Diameter 3 - 11.5 FR, Length 2 - 15cm	Changed Product Group, Product Sub-Group.

flaps - includes pushing catheter	Amended benefit.

WC116	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter	Fr 3, length 55, 65cm; Fr 4, length 65cm, Fr 6.5, 9.5, 	Changed Product Group, Product Sub-Group.

length 90cm	Amended benefit with $23.00 gap.

WC117	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter set	Fr 3, length 55; Fr 4, length 65cm, Fr 6.5 length 65, 	Changed Product Group, Product Sub-Group,

90cm, Fr 9.5, length 90cm	Suffix.

Amended benefit with $23.00 gap.

WC118	Cook Central Venous Long Term Catheter	Cook TPN double lumen catheter	Fr 5, length special; Fr 7, length 65cm, Fr 9 length 80, 	Changed Product Group, Product Sub-Group.

90cm, Fr 12, length special	Amended benefit with $64.00 gap.

WC119	Cook Central Venous Long Term Catheter Set	Cook TPN double lumen catheter set	Fr 7, length 65cm, Fr 9 length 90cm, Fr 12, 90, special	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit with $64.00 gap.

WC121	Cook Central Venous Long Term Catheter	Cook TPN triple lumen catheter	Fr 8, length 90cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

WC122	Cook Central Venous Long Term Catheter	Cook TPN triple lumen catheter set	Fr 8, length 90cm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

WC123	Geenen Pancreatic Stent	Radiopaque Ployethylene Stent	Diameter 3 - 11.5 FR, length 2 -18 cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC166	Solus Biliary Stent  Set	Double Pigtail with OASIS introducer. Sof-flex 	Diameter 10 FR, Length:1 - 15 cm Between pigtails	Changed Product Group, Product Sub-Group.

material - with radiopaque bands.	Amended benefit.

WC174	Zilver Biliary Stent System	Self expanding Metal Biliary Stent System	Diameters: 6, 8, 10mm; Lengths: 4, 6,8cm	Changed Product Group, Product Sub-Group.

Amended benefit with $275.00 gap.

WC182	Esophageal EZS Stents Polyurethane Coating	Uncoated Flange Esophageal Stent with Z-Speed TM 	8, 10, 12, 14cm	Changed Product Group, Product Sub-Group.

Introducer	Amended benefit.

WC185	Percutaneous Endoscopic Gastrostomy (PEG) System	PEG Enteral Feeding Kit - Push or Pull System	18, 20, 24 FR	Changed Product Group, Product Sub-Group.

Amended benefit.

WC195	Cook Central Venous Catheterisation Kits	Long Term Drug Infusion Catheter With or Without 	Triple Lumen 12.5fr	Changed Product Group, Product Sub-Group,

Clamp and Cuff	Suffix.

Amended benefit.

WC196	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Set consisting of: 	10fr, Set	Changed Product Group, Suffix.

Suture Anchor Set, Drainage Catheter, Wireguide, 	Amended benefit with $150.00 gap.

Cecostomy Catheter Set, Adapter, Connecting Tube

WC197	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Catheter	10fr, Standard or Extra Long	Changed Product Group.

Amended benefit.

WC198	Cook Jejunostomy Catheters	Heidelberg Jejunostomy Catheter	12fr, 60cm	Changed Product Group, Product Sub-Group.

Amended benefit.

Changed Items for Prostheses List Report	Page 211 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

WC199	Cook Gastronomy Tubes	Russell Gastronomy Set	14fr, 17cm	Changed Product Group, Product Sub-Group.

Amended benefit.

WC200	Fusion Zilver Biliary Stent System	Self expanding Metal Biliary Stent with Fusion 	Diameters: 6, 8 & 10mm; length: 4, 6 & 8cm	Changed Product Group, Product Sub-Group.

Introducer System	Amended benefit with $527.00 gap.

WC212	Zimmom Pancreatic Stent	Single pigtail radio-opaque Polyethylene Stent with or 	Diameter 3 - 7 FR, Length 3 - 18cm	Changed Product Group, Product Sub-Group.

without ductal flaps	Amended benefit.

WC213	Endoscopic Clipping Device	TriClip Endoscopic Clipping Device	7Fr - 3 Prong 12mm, 8Fr - 3 prong 12mm	Changed Product Group, Product Sub-Group,

Suffix.

Amended benefit.

WC216	Fanelli Laparoscopic Endobiliary Stent Set	Fanelli stent (double flange white polyehtylene), tracer	7.0 French diameter x 6cm length double flange stent 	Changed Product Group, Product Sub-Group,

Hybrid .035"X150cm Guide (slippery wire), 8.5 Fr 	loaded in an 8.5 fr delivery system.	Suffix.

Introducer and Pusher Catheter (TFE) System with 	Amended benefit.

four radiopaque accuracy markers, two way terminal

WC228	Tannenbaum Biliary Stent Set preloaded on the OASIS	Plastic Biliary Stent	8.5 - 11.5 Fr,   5 - 15 cm	Changed Product Group, Product Sub-Group.

Introduction System	Amended benefit.

Orthopaedic

WC135	Vertebroplasty Procedure Pack	Percutaneous Vertebroplasty set with Osteo-Site 	11/13 Gauge 10/15CM M1, M1M, M2	Amended benefit.

needle and bone cement

WC145	Osteo-Firm	Osteo Bone cement - Osteo Firm	One size only	Changed Product Group, Product Sub-Group.

Vascular

WC038	Coil - Embolisation Coils MWCE-TORNADO	Tornado Platinum	Diameters: .018, .035 and .038, Coil Taper Diameters: 	Changed Product Sub-Group, Suffix.

2mm to 10mm

WC039	Cook Embolization Coil	Hilal Platinum	Diameters: .018, Extended Lengths: .5cm to 6cm, Coil 	Changed Product Sub-Group, Suffix.

Diameters: Straight to 10mm

WC045	Zenith Endovascular Graft	Converter	Diameter 20 thru 36 Length 80-85	Changed Product Name, Product Sub-Group,

Suffix.

WC047	Zenith Endovascular Graft	Leg Extensions 	Diameter 18 thru 24 Length 55	Changed Product Name, Product Sub-Group,

Suffix.

WC048	Zenith Endovascular Graft	Body Extensions	Diameter 22 thru 36	Changed Product Name, Product Sub-Group,

Suffix.

WC049	Zenith AAA Endovascular Graft	Bifurcated Extension	Diameter 22-32 mm Length 122-239mm	Changed Product Name, Description, Size.

WC051	Zenith AAA Endovascular Graft	Leg Extension	Diameter  10-12 Length 36-71	Changed Product Name.

WC076	Flipper-Patient Ducts Arteriosus-Occluding System 	Detachable Coil for PDA Closure	Coil Diameter 3,5,6.5 & 8 mm Number of Loops 	Changed Product Sub-Group, Suffix.

WC093	Cook Implantable Injection/Infusion Ports	Petite or Standard, single or multiple chamber 	3 - 12 Fr pre-attached or detached catheter or valve 	Changed Product Sub-Group, Suffix.

Polysulfone Port which may include micropuncture or	system

standard introducer set

WC094	Cook Implantable Injection/Infusion Ports	Mini or Petite or Standard, single or multiple chamber 	3 - 12 Fr pre-attached or detached catheter or valve 	Changed Product Sub-Group, Suffix.

titanium Port which may include micropuncture or 	system

standard introducer set

WC096	Cook Vena Cava Filter	Universal Filter	Diameter up to 40mm, Length up to 60mm	Changed Product Sub-Group, Suffix.

WC115	Cook Implantable Injection/Infusion Port	Mini, single or multiple chamber titanium Port which 	3 - 12 Fr pre-attached or detached  catheter or valve 	Changed Product Sub-Group, Suffix.

may include micropuncture introducer set	system

Changed Items for Prostheses List Report	Page 212 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

WC164	Cook Implantable Injection/Infusion Ports	Dual or Multiple Chamber Titanium Port which may 	3 - 12 Fr pre-attached or detached catheter or valve 	Changed Product Sub-Group, Suffix.

include micropuncture or standard introducer set	system

WC168	Cook Vascular/Biliary Stent	Vascular/Biliary stent	3 - 6 Fr delivery system, 3 - 20mm diameter, 2 - 	Changed Product Sub-Group, Suffix.

20cm length

WC173	Cook Embolisation Coils	Nester Platinum	Diameters: .018 and .035, Extended Lengths: 14cm, 	Changed Product Sub-Group, Suffix.

Coil Diameters: 3mm to 10mm

WC190	Detachable Mreye Embolization Coils	Standard Mreye	Diameters: .035 and .038, Extended Lengths: 1cm to 	Changed Product Sub-Group, Suffix.

20cm, Coil Diameters: 3mm to 20mm

WC191	Cook Intravascular Embolization Prostheses	Hilal Platinum (Soft)	Diameters: .018; Extended Lengths: 5cm to 3cm, Coil 	Changed Product Sub-Group, Suffix.

Diameters: Straight to 10mm

WC192	Detachable Mreye Embolization Coils	Jackson Mreye	Diameters: .035 and .038 Extended Lengths:  4cm to 	Changed Product Sub-Group, Suffix.

6cm Coil Diameters: 3mm to 12mm

WC201	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central Venous 	4Fr - 60cm and 5Fr - 60cm	Changed Product Sub-Group, Suffix.

Catheter Set, Single Lumen Polyurethane with

Micropuncture Peel-Away Sheath Introducer and

Wire Guide

WC204	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The-Wire Peripherally Inserted 	4Fr - 60cm and 5Fr -60cm	Changed Product Sub-Group, Suffix.

Central Venous Catheter Set, Single Lumen

Polyurethane with Micropuncture Peel-Away Sheath

Introducer and Wire Guide

WC205	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The Wire Peripherally Inserted 	5Fr - 60cm	Changed Product Sub-Group, Suffix.

Central Venous Catheter Set, Dual Lumen

Polyurethane with Micropuncture Peel-Away Sheath

Introducer and Wire Guide

WC206	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter 	3Fr - 50cm and 4Fr and 5Fr - 60cm	Changed Product Sub-Group, Suffix.

Set, Single Lumen Silicone with Micropuncture Peel-

Away Sheath Introducer and Nitinol Wire Guide

WC207	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter 	3Fr - 50cm and 4Fr and 5Fr - 60cm	Changed Product Sub-Group, Suffix.

Set, Catheter without Clamp, Single Lumen Silicone

with Micropuncture Peel-Away Sheath Introducer and

Wire Guide

WC208	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous Catheter 	4Fr - 60cm and 5Fr - 60cm	Changed Product Sub-Group, Suffix.

Set, Catheter without Clamp, Single Lumen Silicone

with Micropuncture Peel-Away Sheath Introducer and

Nitinol Wire Guide

Zimmer Pty Ltd

Neurosurgical

ZI330	Trabecular Metal Spinal Devices	Composition - Trabecular Metal	Various heights, sizes and diameters	Changed Product Group, Product Sub-Group.

ZI480	Silhouette Spinal System	Adjustable Transverse Connector Sleeve with Set Screw	12 - 90mm lengths	Changed Product Group, Product Sub-Group,

Suffix.

ZI483	Spine-Tech BAK "L" Cage	Lumbar Cage	9 x 20mm, 9 x 24mm, 11 x 20mm, 13 x 20mm, 13 x 	Changed Suffix.

24mm, 15 x 20mm, 15 x 24mm, 17 x 24mm, 17 x

28mm

ZI487	Trinica Screw	Titanium Screws, fixed and variable angle.	4.2mm x 12/14/16/18mm; 4.6mm x 12/14/16/18mm	Changed Product Sub-Group, Suffix.

Changed Items for Prostheses List Report	Page 213 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI488	Silhouette Transverse Connector Insert	Titanium	one size only	Changed Product Group, Product Sub-Group,

Suffix.

ZI489	Trinica Select Anterior Cervical Plate	Titanium plate for anterior cervical spine. Used to 	Plates for 1 or 2 levels are from 22 to 52mm long in 	Changed Product Sub-Group.

assist spinal fusion.  Attached to the bone using screws.	2mm increments; Plates for 3 levels are from 51-

72mm long in 3mm increments

ZI510	Optima Spinal System - Transverse Link Assembly	Transverse Link Assembly	Small, Medium, Large	Changed Product Group, Product Sub-Group,

Suffix.

ZI514	Optima Spinal System - Polyaxial Pedicle Screw 	Polyaxial Pedicle Screw System	Changed Product Group, Product Sub-Group.

System

ZI517	Trinica Anterior Lumbar/Sacral Screw	Screw, Titanium, Fixed or Variable Axis	22 to 34mm lengths	Changed Product Sub-Group, Suffix.

ZI527	Optima Spinal Fixation System - Hooks	Titanium Alloy	Various	Changed Product Sub-Group.

ZI535	Optima Spinal Fixation System -Connectors	Optima Spinal Fixation System - Rod Connectors	Various	Changed Product Sub-Group.

ZI536	Trabecular Metal Spinal Devices	Composition Trabecular Metal	Various heights, diameters and sizes	Changed Product Group, Product Sub-Group.

ZI537	Trabecular Metal Spinal Device	Composition Trabecular Metal	Various heights, sizes and diameters	Changed Product Group, Product Sub-Group.

Orthopaedic

ZI001	Zimmer Acetabular roof ring	Acetabular reconstruction cage 	46 - 60mm	Changed Product Name, Description.

ZI002	Zimmer Acetabular Reconstruction Cage 	Acetabular Reconstruction Cage - Left, right	52, 58, 64mm OD	Changed Product Name, Description.

ZI003	Coonrad-Morrey Elbow	Ulna - Titanium	Petite, Left, Right	Changed Product Group, Suffix.

ZI004	Coonrad-Morrey Elbow	Humerus - Titanium	4, 6, 8 inch, Left & Right	Changed Product Group, Suffix.

ZI005	Coonrad-Morrey Elbow	Bushing -  Polyethylene, Titanium	1 & 2	Changed Product Group.

ZI006	Mayo Hip	Titanium, mesh (fibre metal), non HA	Small, medium, large and extra large.	Changed Description.

ZI008	Zimmer Austin Moore 	Stainless Steel	Sizes 38 - 60	Changed Product Name, Description.

ZI009	Zimmer CPT Hip Systems Femoral Stem	Co Cr (Zimaloy), polished and tapered	Sizes 1 - 5	Changed Product Name, Description.

ZI013	Zimmer distal centralisers CPT, VerSys, Natural and 	 PMMA Centraliser  	Size 1	Changed Product Name, Description.

MS30

ZI014	Zimmer Epoch Hip Systems Femoral Stem	Cobalt Chrome, Core, PAEK outer matrix, Titanium 	14 - 18 mm	Changed Product Name, Description, Product

mesh with HA	Sub-Group.

ZI015	Zimmer 'VerSys  Hip Systems Femoral Stem	Cemented - Cobalt Chrome unpolished	11 - 17	Changed Product Name, Description.

ZI016	Zimmer 'VerSys Hip Systems Femoral Stem	Titanium, mesh (fibre metal), non HA	9 - 18	Changed Product Name, Description.

ZI017	Zimmer 'VerSys Hip Systems Femoral Stem	Titanium, mesh (fibre metal), with HA	9 - 18	Changed Product Name, Description.

ZI020	Zimmer VerSys 	Proximal Centraliser - PMMA	11 - 17	Changed Product Name, Description.

ZI023	Zimmer Heritage Hip Systems Femoral Stem	 Cobalt Chrome, polished, straight 	11 - 17	Changed Product Name, Description.

ZI024	Zimmer 'VerSys CRC Hip Systems 	 Modular Calcar Block	One size only	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI025	Zimmer VerSys CRC Hip Systems Femoral Stem	 Cobalt Chrome, unpolished long stem with calcar 	13 - 19	Changed Product Name, Description, Product

attachment option	Sub-Group.

ZI027	ZCA Acetabular Cup	UHMPE unmodified	47 - 61	Changed Product Name, Description.

ZI030	Trilogy Constrained Liner - Polyethylene	UHMPE unmodified 	50 - 80	Changed Product Name, Description.

Changed Items for Prostheses List Report	Page 214 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI033	Trilogy Oblique liner	UHMPE unmodified	38 - 62	Changed Product Name, Description.

ZI034	Trilogy Acetabular Cup	Titanium mesh (fibre metal) non HA for UHMPE 	38 - 80	Changed Product Name, Description.

ZI035	Trilogy Acetabular Cup	Titanium mesh (fibre metal) with HA for UHMPE 	38 - 80	Changed Product Name, Description.

insert

ZI037	Trilogy  liner	UHMPE unmodified	38 - 80 in 22, 28, 32	Changed Product Name, Description.

ZI041	Trilogy Acetabular Cup	Titanium mesh (fibre metal) with HA for ceramic 	38 - 80	Changed Product Name, Description.

ZI042	Trilogy Acetabular Cup	Titanium mesh (fibre metal) non HA for ceramic 	48 - 70	Changed Product Name, Description.

ZI044	Trilogy AB Ceramic Liner	Biolox forte	48 - 70	Changed Product Name, Description.

ZI045	'Longevity XLPE Acetabular liner	UHMPE modified	46 - 70	Changed Product Name, Description.

ZI049	'ZMR Taper System Modular Revision Hip 	Titanium body, plasma coating, non HA	A - F	Changed Product Name, Description, Product

Sub-Group.

ZI050	ZMR Modular Revision Hip System - stem	Titanium, grit blast, non HA, 	12.5 - 22.5mm	Changed Product Name, Description.

ZI054	Femoral Head	Cobal Chrome femoral Head	38 - 63mm	Changed Description, Product Sub-Group.

ZI055	Ceramic Femoral Head	Ceramic Head 12/14 Taper, Biolox Forte	28 - 36mm	Changed Description, Size.

ZI057	NexGen Flex Tibial Insert 	Tibial Insert, fixed, posterior stabilised, high flex, 	Sizes 9 - 23mm	Changed Product Name, Description.

UHMWPE	Amended benefit with $50.00 gap.

ZI058	NexGen LPS Tibial Insert 	Tibial Insert, posterior stabilised, UHMWPE, mobile 	Sizes 9 - 23mm	Changed Product Name, Description.

Amended benefit with $50.00 gap.

ZI061	NexGen Tibial Baseplate  	Tibial baseplate, cemented, CoCr, with PMMA coating	Sizes 1 - 10	Changed Product Name, Description.

for mobile insert 	Amended benefit with $415.00 gap.

ZI062	NexGen Knee Femoral Component	Femoral Component, uncemented, high flex, CoCr plus	Sizes A-G Left & Right	Changed Product Name, Description.

titanium fibre metal mesh ingrowth and HA/TCP, 	Amended benefit with $820.00 gap.

posterior stabilised

ZI064	Insall-Burstein II CCK Tibial Insert	Tibial Insert which is fixed and posterior stabilised, 	10 - 35mm	Compressed from ZI064, ZI065.

UHMWPE,

ZI066	Insall-Burstein II  Tibial Insert 	Tibial Insert which is fixed and posterior stabilised, 	8 - 25mm	Changed Product Name, Description.

UHMWPE, 	Amended benefit with $50.00 gap.

ZI067	Insall-Burstein II Femoral and Tibial augments 	Femoral posterior, distal and combined blocks, tibial 	5, 10mm	Changed Product Name, Description.

hemi blocks and wedges 	Amended benefit with $54.00 gap.

ZI071	Insall-Burstein II Patella Component	All poly, cemented, patella, UHMWPE	32 - 41mm	Changed Product Name, Description.

Amended benefit with $40.00 gap.

ZI072	Insall-Burstein II Femoral and Tibial Stems 	Tibial and Femoral Stems, cemented, titanium	10 - 24mm	Changed Product Name, Description.

Amended benefit with $60.00 gap.

ZI073	Insall-Burstein II Tibial Baseplate 	Tibial baseplate cemented, titanium, PMMA coating, 	54 - 74mm	Changed Product Name, Description.

for fixed insert 	Amended benefit with $110.00 gap.

ZI075	Insall-Burstein II Wedge	Full - Ti	7 - 20mm	Amended benefit with $475.00 gap.

ZI077	Miller Galante I Tibial Insert 	Tibial Insert, UHMWPE, fixed 	8 - 22mm	Changed Product Name, Description.

Amended benefit with $110.00 gap.

ZI079	Miller Galante I	Bone Screw - Ti	20 - 60mm	Changed Product Group, Product Sub-Group.

ZI086	Stemmed Tibial Tray:Porous	Ti	A - K	Amended benefit with $95.00 gap.

Changed Items for Prostheses List Report	Page 215 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI088	Miller Galante II Tibial Insert 	Tibial Insert, UHMWPE, fixed 	9 - 23mm	Changed Product Name, Description.

Amended benefit with $110.00 gap.

ZI089	Miller Galante II	Bone Screw - Ti	20 - 80mm	Changed Product Group, Product Sub-Group.

ZI093	Miller Galante II Patella 	All poly Patella, cemented, UHMWPE	32 - 41mm	Changed Product Name, Description.

Amended benefit with $40.00 gap.

ZI095	Miller Galante II long femoral and tibial stems 	Femoral and Tibial straight and offset, titanium, 	12 - 18mm	Changed Product Name, Description.

cemented, long	Amended benefit.

ZI096	Miller Galante II standard femoral and tibial stems 	Femoral and Tibial straight and offset, titanium, 	12 - 18mm	Changed Product Name, Description.

cemented, standard	Amended benefit.

ZI102	Miller Galante II Tibial Baseplate 	Tibial Baseplate, PMMA, Titanium, cemented, for 	A - K	Changed Product Name, Description.

fixed insert 	Amended benefit with $110.00 gap.

ZI103	Miller Galante II Tibial Baseplate 	Tibial Baseplate, titanium, fibre metal mesh ingrowth, 	A - K	Changed Product Name, Description.

uncemented for fixed insert 	Amended benefit with $95.00 gap.

ZI104	Miller Galante II Tibial Baseplate 	Tibial Baseplate, titanium, uncemented, fibre metal 	A - K	Changed Product Name, Description, Suffix.

mesh ingrowth, for fixed insert	Amended benefit with $95.00 gap.

ZI105	Miller Galante  Unicompartmental Insert 	Uni Tibial Insert, UHMWPE, fixed 	8 - 14 mm	Changed Product Name, Description.

Amended benefit.

ZI106	Miller Galante  Unicompartmental Femoral 	Femoral Component, Co Cr, Cemented for fixed insert  	Small to extra large 	Changed Product Name, Description, Size.

Compoment 	Amended benefit.

ZI107	Miller Galante  Unicompartmental tibial baseplate 	Uni 'Tibial baseplate, cemented, Titanium 	1 to 6	Changed Product Name, Description, Size.

Amended benefit with $120.00 gap.

ZI108	Miller Galante  Unicompartmental tibial baseplate 	All Poly Uni Tibial Baseplate, UHMWPE	1 to 6	Changed Product Name, Description, Size.

Amended benefit with $195.00 gap.

ZI109	NexGen Knee Femoral Component 	Femoral Component, uncemented, CoCr plus titanium 	A - H (L&R)	Changed Product Name, Description.

fibre metal mesh ingrowth	Amended benefit with $850.00 gap.

ZI110	NexGen Knee Femoral Component 	Femoral Component, uncemented, CoCr plus titanium 	A - H (L&R)	Changed Product Name, Description.

fibre metal mesh ingrowth and HA/TCP, cruciate 	Amended benefit with $450.00 gap.

retaining

ZI111	NexGen Knee Femoral Component	Femoral Component, cemented with PMMA, CoCr	A - H (L&R)	Changed Product Name, Description.

Amended benefit with $780.00 gap.

ZI113	NexGen Knee Femoral Component	Femoral Component, cemented with PMMA, CoCr	A - H (L&R)	Changed Product Name, Description.

Amended benefit with $1,710.00 gap.

ZI115	NexGen Knee Femoral Component	Femoral Component, uncemented, CoCr plus titanium 	A - H (L&R)	Changed Product Name, Description.

fibre metal mesh ingrowth, posterior stabilised 	Amended benefit with $750.00 gap.

ZI117	NexGen  Femoral Component	Femoral Component, posterior stabilised, PMMA 	A - H (L&R)	Changed Product Name, Description.

coating, cemented, CoCr 	Amended benefit with $680.00 gap.

ZI119	NexGen LCCK (Legacy Constrained Condylar Knee) 	Femoral component, posterior stabilised, CoCr	A - H (L&R)	Changed Product Name, Description.

Femoral Component	Amended benefit with $1,435.00 gap.

ZI120	NexGen Tibial Baseplate 	Pegged tibial baseplate,  uncemented, titanium fibre 	1  - 10	Changed Product Name, Description.

metal mesh for fixed insert  	Amended benefit with $95.00 gap.

ZI121	NexGen Tibial Baseplate 	Pegged tibial baseplate,  uncemented, titanium fibre 	1  - 10	Changed Product Name, Description.

metal mesh, with HA/TCP for fixed insert  	Amended benefit with $115.00 gap.

ZI122	NexGen Tibial Baseplate  	Pegged Tibial Baseplate, cemented, for fixed insert, 	1  - 10	Changed Product Name, Description.

titanium, PMMA coated  	Amended benefit with $110.00 gap.

Changed Items for Prostheses List Report	Page 216 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI123	NexGen Tibial Baseplate 	Stemmed tibial baseplate,  uncemented, titanium fibre 	1  - 10	Changed Product Name, Description, Suffix.

metal mesh for fixed insert  	Amended benefit.

ZI124	NexGen Tibial Baseplate 	Stemmed tibial baseplate,  uncemented, titanium fibre 	1  - 10	Changed Product Name, Description.

metal mesh, with HA/TCP for fixed insert  	Amended benefit with $115.00 gap.

ZI126	NexGen Knee Tibial Baseplate 	Stemmed AP wedged tibial baseplate, cemented, for 	1 - 10	Changed Product Name, Description.

fixed insert, titanium, PMMA coated  	Amended benefit with $110.00 gap.

ZI127	NexGen Knee Tibial Baseplate	Baseplate All Poly, cemented, UHMWPE	1 - 10	Changed Product Name, Description.

Amended benefit with $50.00 gap.

ZI129	NexGen Legacy Knee Tibial Baseplate 	Tibial baseplate, cemented, CoCr, with PMMA coating	1 - 10	Changed Product Name, Description.

for legacy posterior stabilised mobile insert 	Amended benefit with $415.00 gap.

ZI132	NexGen Knee High Tibial Osteotomy System	Plate - Ti	1 - 10	Changed Product Group, Product Sub-Group.

ZI133	NexGen Knee High Tibial Osteotomy System	Screw - Ti	4.5 - 10 - 80 mm, 6.5 - 10 - 80 mm	Changed Product Group, Product Sub-Group.

ZI134	NexGen Tibial Insert 	Tibial Insert, fixed, standard and anterior lipped, 	9 - 23 mm	Changed Product Name, Description.

UHMWPE	Amended benefit with $110.00 gap.

ZI135	NexGen Tibial Insert 	Ant. Constr. - UHMWPE	9 - 23mm	Changed Product Name.

Amended benefit with $110.00 gap.

ZI136	NexGen Tibial Insert 	Tibial Insert, fixed, posterior stabilised, UHMWPE	9 - 23mm	Changed Product Name, Description.

Amended benefit with $50.00 gap.

ZI137	NexGen LCCK Tibial Insert 	Tibial Insert, posterior stabilised, UHMWPE, fixed, 	10 - 35mm	Changed Product Name, Description, Suffix.

with post 	Amended benefit with $50.00 gap.

ZI138	NexGen MBK Tibial Insert 	Tibial Insert,  UHMWPE, mobile	9 - 23mm	Changed Product Name, Description.

Amended benefit with $25.00 gap.

ZI139	NexGen Tibial Insert 	Tibial Insert, UHMWPE, 'anatomically rotated'	9 - 23mm	Changed Product Name, Description.

Amended benefit with $110.00 gap.

ZI140	NexGen Tibial Augments	Tibial Augments, wedges, hemi and one third and tibial	1 - 10	Changed Product Name, Description.

blocks hemi, titanium	Amended benefit with $299.00 gap.

ZI141	NexGen Tibial Augment	Tibial Augment, Full Wedge, Titanium	1 - 10	Changed Product Name, Description.

Amended benefit with $299.00 gap.

ZI142	NexGen Knee Tibial Augments	One Third Wedge - Ti	1 - 10	Amended benefit with $299.00 gap.

ZI143	NexGen Knee Tibial Augments	NexGen Tibial Blocks - half and full, Titanium	1 - 10	Changed Description.

Amended benefit with $299.00 gap.

ZI144	NexGen  Femoral Augments	Femoral blocks, posterior, distal and anterior, titanium 	A - H	Changed Product Name, Description.

Amended benefit with $54.00 gap.

ZI145	NexGen  Femoral Augments	Femoral blocks, combined posterior distal block 	A - H	Changed Product Name, Description, Size.

Amended benefit with $54.00 gap.

ZI146	NexGen Femoral and Tibial Stems 	Femoral and Tibial Stems, straight and offset, 	Length - 35 - 155mm, Diameters - 10 - 24 mm	Changed Product Name, Description.

cemented 	Amended benefit with $79.00 gap.

ZI147	NexGen  Patella Component 	Metal backed, trabecular metal (Tantalum), patella 	26 - 41	Changed Product Name, Description.

component, with moulded UHMWPE, uncemented	Amended benefit with $390.00 gap.

ZI148	NexGen Patella Component   	Ally poly, cemented, patella, UHMWPE	26 - 41	Changed Product Name, Description.

Amended benefit with $40.00 gap.

ZI149	Periarticular Plates	Periarticular 6.5mm Cancellous Screws - Stainless 	16mm Thread - 35-90mm Long, 32mm Thread - 45-	Changed Product Group, Product Sub-Group.

90mm Long, Fully Threaded - 25-90mm Long

ZI150	Periarticular Plates	Periarticular 4.0mm Cancellous Screws - Stainless 	Part thread - 30-60 mm, Full thread 30-110 mm	Changed Product Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 217 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI151	Periarticular Plates	Periarticular 4.5mm Self Tapping Screws - Stainless 	26 - 90mm	Changed Product Group, Product Sub-Group.

Steel

ZI152	Periarticular Plates	Periarticular 3.5mm Self Tapping Screws - Stainless 	10 - 80mm	Changed Product Group, Product Sub-Group.

Steel

ZI153	Periarticular Plates	Periarticular Tibial Plateau Plates - Stainless Steel	2 holes - 14 holes Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

ZI154	Periarticular Plates	Periarticular Femoral Condylar Plates - Stainless Steel	4 holes - 18 holes Left & Right	Changed Product Group, Product Sub-Group,

Suffix.

ZI157	Zimmer Internal Fixation Systems: Compression Hip 	Freelock/Versa-fx tube plate - Stainless Steel	2 holes - 20 holes	Changed Product Group, Product Sub-Group.

Screw

ZI158	Zimmer Internal Fixation Systems: Compression Hip 	Freelock/Versa-fx lag screw - Stainless Steel	50 mm - 150 mm long	Changed Product Group, Product Sub-Group,

Screw	Suffix.

ZI161	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Stainless Steel	1.3 mm	Changed Product Group, Product Sub-Group.

ZI163	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Plate Cable Stainless Steel	610 mm long	Changed Product Group, Product Sub-Group.

ZI164	Zimmer Internal Fixation Systems: Cable System	Cable-Ready GTR Distal end Cable - Cobalt Chrome	635 mm long	Changed Product Group, Product Sub-Group.

ZI167	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 6 Hole Plate - Stainless Steel	187mm long	Changed Product Group, Product Sub-Group.

ZI168	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 8 Hole Plate - Stainless Steel	246mm long	Changed Product Group, Product Sub-Group.

ZI169	Zimmer Internal Fixation Systems: Cable System	Cable-Ready 10 Hole Plate - Stainless Steel	305mm long	Changed Product Group, Product Sub-Group.

ZI170	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Pin - Stainless Steel	35, 40, 45, 65mm long	Changed Product Group, Product Sub-Group.

ZI173	Zimmer Internal Fixation Systems: Cable System	Cable-Ready GTR Cable - Proximal 	635mm long	Changed Product Group, Product Sub-Group.

ZI174	Zimmer Internal Fixation Systems: Cable System	Cable-Ready Stainless Steel Cable	1.8mm	Changed Product Group, Product Sub-Group.

ZI176	Zimmer Internal Fixation Systems: Cannulated Screw	Magna-FX - Stainless Steel	16 mm Thread - 30-30 mm; 32 mm Thread - 40-120 	Changed Product Group, Product Sub-Group,

mm; Fully Threaded - 30-130 mm Long	Suffix.

ZI177	Zimmer Internal Fixation Systems: Cannulated Screw	Mini Magna-FX - Stainless Steel	4 & 5mm diameters	Changed Product Group, Product Sub-Group,

Suffix.

ZI178	Zimmer Internal Fixation Systems: Herbert Bone Screw	Scaphiod - Titanium	Scaphoid - 12 - 30mm length	Changed Product Group, Product Sub-Group.

ZI179	Zimmer Internal Fixation Systems: Herbert Bone Screw	Herbert/Whipple - Titanium	12 mm - 30 mm	Changed Product Group, Product Sub-Group.

ZI180	Zimmer Internal Fixation Systems: Herbert Bone Screw	Cannulated 4.5mm - Titanium	30 - 70mm	Changed Product Group, Product Sub-Group.

ZI181	Zimmer Internal Fixation Systems: Herbert Bone Screw	Cannulated 6.5mm - Titanium	25 mm - 100mm	Changed Product Group, Product Sub-Group.

ZI182	Zimmer Internal Fixation Systems: Soft Tissue Re-	Statak/Mini-Statak - Suture, Stainless Steel	2, 5 mm - 5, 0mm	Changed Product Group, Product Sub-Group.

attachment Device

ZI188	Zimmer Bone Cement Systems	Poly Medullary Plug - PMMA	8 - 23 mm	Changed Product Group, Product Sub-Group.

ZI192	Bone Graft Substitute	Triosite Granules (0.5 - 1.0 mm grain sizes)- HATCP	1 g Tube	Changed Product Group, Product Sub-Group.

ZI193	Bone Graft Substitute	Triosite Granules (2 - 3mm grain size) - HATCP	5g Tube	Changed Product Group, Product Sub-Group.

ZI194	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 4 - HATCP	10mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI195	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 4 - HATCP	20mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI196	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 2 - HATCP	10mm	Changed Product Group, Product Sub-Group,

Suffix.

Changed Items for Prostheses List Report	Page 218 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI197	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 2 - HATCP	20mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI198	Bone Graft Substitute	Triosite Oesteotomy Wedges - HATCP	6 - 12mm	Changed Product Group, Product Sub-Group.

ZI199	Zimmer ECT Screws	1.5mm Cortical Screws	6 - 18mm	Changed Product Group, Product Sub-Group.

ZI200	Zimmer ECT Screws	2.0mm Cortical Screws	6 - 24mm	Changed Product Group, Product Sub-Group.

ZI201	Zimmer ECT Screws	2.7mm Cortical Screws	6 - 50mm	Changed Product Group, Product Sub-Group.

ZI202	Zimmer ECT Screws	3.5mm Cortical Screws	10 - 130 mm	Changed Product Group, Product Sub-Group.

ZI203	Zimmer ECT Screws	4.0mm Cancellous Screws	10 - 60 mm	Changed Product Group, Product Sub-Group.

ZI204	Zimmer ECT Screws	4.5mm Cortical Screws	14 - 120mm	Changed Product Group, Product Sub-Group.

ZI205	Zimmer ECT Screws	4.5mm Self tapping Cortical Screws	14 - 70mm	Changed Product Group, Product Sub-Group.

ZI206	Zimmer ECT Screws	4.5 Malleo Screw	25 - 70mm	Changed Product Group, Product Sub-Group.

ZI207	Zimmer ECT Screws	6.5mm Cancellous Screws	25 - 110mm	Changed Product Group, Product Sub-Group.

ZI209	Zimmer Large-Frag System	Cortical Nut for 4.5mm screw	Small & Large	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI210	Zimmer Large-Frag System	Washer/Spiked washer	Small & Large	Changed Product Name, Product Group,

Product Sub-Group.

ZI211	Zimmer Plates	ZPS SC 1/3 Tubular Plate - Forearm	3 - 8 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI212	Zimmer Plates	ZPS Semi Tubular Small Narrow Plate	3 - 8 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI214	Zimmer Plates	Mini Straight & Epiphysis Plates	3 - 8 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI215	Zimmer Plates	Mini SCP Plate	3 - 12 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI216	Zimmer Plates	SCP Forearm plate	4 - 12 Hole	Changed Product Name, Product Group,

Product Sub-Group.

ZI217	Zimmer Plates	T Buttress Plates	4 - 6 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI218	Zimmer Plates	Spoon Plates	5 - 6 Hole	Changed Product Name, Product Group,

Product Sub-Group.

ZI219	Zimmer Plates	T-Plates	68 - 147mm	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI220	Zimmer Plates	Cloverleaf plates	88 - 104mm	Changed Product Name, Product Group,

Product Sub-Group.

ZI222	Zimmer Plates	Epiphysis plates	2 - 6 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI223	Zimmer Plates	1/4 Tubular Plate	3  - 8 Hole	Changed Product Name, Product Group,

Product Sub-Group.

ZI224	Zimmer Plates	Standard DC Plate	2 - 12 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

ZI225	Zimmer Plates	Broad Plates	5 - 14 Hole	Changed Product Name, Description, Product

Group, Product Sub-Group.

Changed Items for Prostheses List Report	Page 219 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI226	Zimmer Bone Plug	Allen Medullary Plug	8 - 23mm	Changed Product Group, Product Sub-Group.

ZI227	ZPS	3.5mm Straight Recon Plates	6 Hole	Changed Product Group, Product Sub-Group.

ZI228	ZPS	3.5mm Curved Recon Plates	6 Hole	Changed Product Group, Product Sub-Group.

ZI230	ZPS	4.5mm Straight Recon Plate	6 Hole	Changed Product Group, Product Sub-Group.

ZI231	ZPS	Recon Bridge Plate	4 Hole	Changed Product Group, Product Sub-Group,

Suffix.

ZI234	Cable System 	Cable Ready, Cable Button	2,5mm - 5,0mm	Changed Product Group, Product Sub-Group.

ZI243	Periarticular Plates	Stainless Steel	2 - 20 Hole	Changed Product Group, Product Sub-Group,

Suffix.

ZI249	Trabecular Metal Reconstruction Shell	Porous tantalum, reconstruction shell 	22 and 28mm diameter	Changed Product Name, Description.

ZI266	NexGen Trabecular Metal Augmented Patella	Augmented trabecular metal  combined with NexGen 	Small, medium, large and x-large	Changed Product Name, Description.

all poly patella component (2 piece)	Amended benefit with $2,620.00 gap.

ZI271	Trabecular Metal acetabular Medial wall augment	Tantalum disc	26mm, 32mm and 38mm	Changed Product Name, Description, Size,

Product Sub-Group.

ZI276	Trabecular Metal Acetabular Augment	Tantalum acetabular augment	40 - 70mm x 10, 15, 20 &30mm	Changed Product Name, Description, Size,

Product Sub-Group.

ZI289	Bigliani Shoulder System	Cobalt Chrome	Lengths 130 - 200mm, Thickness 6 - 16mm	Changed Product Group, Product Sub-Group.

ZI290	Cable Ready Cable Grip System	Titanium - comes with two cables (Co Cr), Integral 	23 x 53mm, 1.8 x 635mm	Changed Product Group, Product Sub-Group,

Crimps	Suffix.

ZI293	Zimmer Wires	Stainless Steel	Length 23cm, Thickness 2mm, 0-4mm, 8mm	Changed Product Group, Product Sub-Group.

ZI294	Zimmer Wires	Stainless Steel	Length 7, 6cm - 23cm, Thickness 0mm, 7mm - 2mm, 	Changed Product Group, Product Sub-Group.

0mm

ZI295	NexGen Porous Tantalum Tibial Baseplate and Insert	One piece Trabecular Metal (Tantalum) Tibial 	Sizes 3 - 8, Height 10mm - 17mm	Changed Product Name, Description.

Baseplate and Insert UHMWPE (minimal and 	Amended benefit with $1,240.00 gap.

posterior constrained)

ZI296	Anatomic II Hip System Femoral Stems	Titanium, plasma Spray, no HA 	Sizes 9 - 19	Changed Product Name, Description.

ZI297	Cable Ready Cable Grip System	Titanium	5 hole GTR with 4 cables	Changed Product Group, Product Sub-Group,

Suffix.

ZI298	Cable Ready Cable Grip System	Titanium	2 hole GTR with 4 cables	Changed Product Group, Product Sub-Group,

Suffix.

ZI299	Cable Ready Cable Grip System	Titanium	4 hole GTR with 4 cables	Changed Product Group, Product Sub-Group,

Suffix.

ZI300	Bigliani Shoulder System	Bigliani-Flatow Shoulder - Heads (Cobalt chrome)	40, 46, 52, 52mm diameters	Changed Product Group, Product Sub-Group.

ZI301	CPT Hip System	Cobalt Chrome, polished, tapered, long stems 	Sizes 1 - 4	Changed Description.

ZI304	Bigliani Shoulder System	Bigliani-Flatow shoulder - Glenoid (UHMWPE)	40, 46 and 52mm diameters	Changed Product Group, Product Sub-Group.

ZI305	Nexgen Rotating Hinged Knee Femoral Component	Femoral Component, with a fixed rotating hinge on 	B-F	Changed Product Name, Description, Suffix.

UHMWPE bearings, cemented, CoCr 	Amended benefit with $3,750.00 gap.

ZI307	Nexgen Rotating Hinge Tibial Insert 	Tibial insert for NexGen Rotating Hinge prosthesis, 	12-26mm, sizes B-F	Changed Product Name, Description, Suffix.

UHMWPE, mobile. Includes hinge locking post.	Amended benefit with $380.00 gap.

ZI308	Nexgen Rotating Hinge Tibial Baseplate 	Stemmed Tibial Baseplate with polished tibial insert 	1-6	Changed Product Name, Description.

surface, cemented, PMMA coated for Nexgen rotating	Amended benefit.

hinged femoral component

Changed Items for Prostheses List Report	Page 220 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI309	Nexgen Rotating Hinge Replacement 	Rotating hinge replacement which includes metal 	B-F	Changed Product Name, Description.

rotating hinge plus Polyethylene bushing and fixation 	Amended benefit with $2,620.00 gap.

pin

ZI314	ZCA All Poly Acetabular Cup - XLPE	UHMPE modified 	22, 26, 28 & 32 mm heads; 47-61mm diameter; 	Changed Description.

flanged and non-flanged

ZI315	Trilogy Acetabular System - Longevity Eccentric	UHMPE modified 	22 + 28 + 32 Head Diameters; 38 - 80mm Outer 	Changed Description.

Diameters

ZI318	Trilogy Acetabular System - Longevity Constrained	UHMPE modified 	22 + 28 + 32 Head Diameters; 38 - 80mm Outer 	Changed Description.

Diameters

ZI319	Bigliani Flatow Total Shoulder System - Glenoids	Trabecular Metal Backed Glenoid (uncemented)	Diameter 40 - 52mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI320	ITST Intramedullary Nails	Stainless Steel Intertrochanteric Nailing System	Diameter 10 - 14mm; Length 18 - 50cm	Changed Product Group, Product Sub-Group.

ZI321	Intramedullary Nail Caps	Stainless Steel Intertrochanteric Nailing System	Diameter 0 - 20mm	Changed Product Group, Product Sub-Group.

ZI322	ITST Intramedullary Nailing System - Lag screw	Stainless Steel Intertrochanteric Nailing System	Diameter 11mm: Length 70mm - 120mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI323	Zimmer Wires	Stainless Steel Rushpins	Diameter 2.4 - 6.4mm; Length 2.5 - 52.7cm	Changed Product Group, Product Sub-Group.

ZI325	Trabecular Metal Modular Acetabular System	Titanium, porous tantalum 	38-80mm diameter; Cluster, Multiholed, No Holes	Changed Description.

ZI326	Bigliani/Flatow Trabecular Metal Humeral Shoulder	Porous Tantulum Humeral Stem	6mm-19mm diameter	Changed Product Group, Product Sub-Group,

Suffix.

ZI327	M/L Taper Femoral Stem	Titanium, plasma spray, non HA 	9mm - 18mm in 1mm increments, 10 sizes in all	Changed Description.

ZI328	Coonrad/Morrey Elbow Cement Restrictor	PMMA/Plastic	Extra Small, Small, Regular	Changed Product Group, Product Sub-Group.

ZI331	Zimmer Periarticular Locking Plates	Periarticular Locking Plating System	Various lengths and numbers of holes	Changed Product Group, Product Sub-Group,

Suffix.

ZI336	Polypin Resorbable Bone Pin	Polylactide	1.5, 2.0, 2.7mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI337	Natural Hip System	Unpolished, straight, Femoral Stem, CoCr	140 - 160mm	Changed Description.

ZI339	Protek Morscher PE Metasul Cup	Titanium mesh, UHMPE plus metal liner 	48 - 64mm	Changed Product Name, Description, Suffix.

ZI342	GSB Cemented Elbow	GSB Humerus - CoCr alloy/PE	76,86,86L  	Changed Product Group, Suffix.

ZI343	GSB Cemented Elbow	GSB Humeral Medullary Plug - PE	One size only	Changed Product Group, Product Sub-Group.

ZI344	GSB Cemented Elbow	GSB Ulna Component - CoCr alloy	12/71,12/61,16/71,16/61	Changed Product Group, Suffix.

ZI345	GSB Cemented Elbow	GSB Washer - PE	2/12,4/12,6/12,2/16,4/16,6/16 	Changed Product Group, Product Sub-Group.

ZI347	Femoral Head	CoCr femoral head	42 to 60 	Changed Description.

ZI353	Allofit Cup	Titanium, macro texture, non HA	46 - 68mm	Changed Description.

ZI354	Alpha Cerasul Insert	UHMPE unmodified with ceramic insert	52 to 70mm 	Changed Description, Suffix.

ZI356	Medullary Plug, MS 30	Centring Plug, cement restrictor, hip - PE	1 to 7	Changed Product Group, Product Sub-Group.

ZI357	Alpha Durasul Insert	UHMPE modified 	22mm x 42 to 28mm x 68	Changed Description.

ZI358	Durasul Ballhead for Inserts	CoCr femoral head	22, 28, 32	Changed Description.

ZI359	Large Zimmer Femoral Heads	CoCr femoral head	34 - 38mm	Changed Product Name, Description.

ZI364	Natural Hip System	CoCr femoral head	22 to 32mm	Changed Description.

Changed Items for Prostheses List Report	Page 221 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI365	Natural Hip System	Titanium stem with cancellous spray titanium coating 	00 to 7	Changed Description.

with HA, standard and high offset

ZI368	Apollo Hooded acetabular cup 	UHMPE unmodified	28/46mm to 28/62mm	Changed Product Name, Description.

ZI370	Cancellous Screws	Orthopaedic Screws - Ti alloy	20 to 60	Changed Product Group, Product Sub-Group.

ZI373	MS-30 Hip prosthesis	Stainless steel, polished tapered	6 to 16	Changed Description.

ZI376	Cone Hip prosthesis	Titanium, grit blast, non HA	13 to 24mm	Changed Description.

ZI377	Wagner Revision Hip Prosthesis	Uncemented Stem Titanium, grit blast, non HA	190/14 to 385/25	Changed Description.

ZI378	PFM Hip series	Titanium, grit blast, non HA, femoral body	55 to  85 	Changed Description.

ZI379	PFM Hip series	Uncemented Stems, titaniuam, grit blast and non HA 	140 to 260 x 14 to 24	Changed Description, Suffix.

ZI382	Metasul Femoral Head	Cobalt Chrome metal on metal 	28 to 40mm alloy	Changed Product Name, Description.

ZI383	MS30 Hip - Cups Cemented	Low Profile with Metasul - PE with special metal alloy	38 to 58mm 	Changed Suffix.

ZI384	MS30 Hip - Cups Cemented	UHMPE unmodified	22/36 to 32/64	Changed Description.

ZI385	CLS Cups	Titanium, macro texture, non HA	46 to 62mm	Changed Product Name, Description.

ZI386	Fitmore Cup	Titanium mesh non HA 	42 to 68mm	Changed Description.

ZI387	Protek Morscher PE Cup	Titanium mesh, UHMPE unmodified	22/40 to 32/64mm	Changed Product Name, Description.

ZI388	Liner for CLS,  Fitmore and Allofit	UHMPE unmodified	22, 28, 32mm Size 46 to 62	Changed Product Name, Description.

ZI389	Metasul Liner for CLS,  Fitmore and Allofit	UHMPE unmodified with metal insert	28mm	Changed Product Name, Description, Suffix.

ZI396	Variall Screw Cup System	Titanium, macro texture, non HA	46 to 62mm	Changed Description.

ZI397	Variall Hip System	Titanium, grit blast, non HA	sizes 0 to 11,	Changed Product Name, Description.

ZI398	High Tibia Osteotomy	High Tibia Osteotomy - Ti alloy	L shaped steel alloy plate;  Standard & Long	Changed Product Group, Product Sub-Group,

Suffix.

ZI399	Cancellous Screws	Screws- Cancell - Ti alloy	6.5/15 to 6.5/70mm	Changed Product Group, Product Sub-Group.

ZI400	Cortical Screws	Screws- Cortical - Ti alloy	4.5/30 to 60mm	Changed Product Group, Product Sub-Group.

ZI401	Allegretto Unicompartmental Knee Femoral Componen	Uni Femoral component, cemented, CoCr	Size 1 to 3, Size 1+ to 3+	Changed Product Name, Description.

Amended benefit with $370.00 gap.

ZI402	Allegretto Unicompartmental Knee Tibial Component	All poly uni tibial component, cemented, UHMWPE	9/38 to 15/48mm	Changed Product Name, Description.

Amended benefit with $195.00 gap.

ZI403	Allegretto Unicompartmental Knee	Tibial Baseplate Monoblock - Ti alloy / PE	7.5/38 to 15/48mm	Amended benefit with $75.00 gap.

ZI404	Natural Knee Tibial Augments 	Tibial hemi blocks, titanium, lug fixation 	4 to 8mm  Size 00 to 5	Changed Product Name, Description.

Amended benefit.

ZI406	Natural Knee Tibial Augment Fixation 	Tibial Augment Fixation peg and screws  	One size only	Compressed from ZI406, ZI407.

ZI408	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE,  mobile insert  	00 to 5, 9 to 22mm	Changed Product Name, Description, Size.

Amended benefit with $25.00 gap.

ZI409	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, posterior stabilised, fixed 	00 to 5, 9 to 22mm	Changed Product Name, Description, Size.

Amended benefit with $50.00 gap.

ZI410	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, fixed 	00 to 5, 9 to 22mm	Changed Product Name, Description, Size.

Amended benefit with $110.00 gap.

ZI411	Natural Knee Tibial Insert 	Tibial Insert, UHMWPE, fixed, ultracongruent dished  	00 to 5, 9 to 22mm	Changed Product Name, Description, Size.

Amended benefit with $110.00 gap.

Changed Items for Prostheses List Report	Page 222 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI412	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  Cancellous structure 	Size 00 to 5	Changed Product Name, Description.

Titanium ingrowth surface for fixed inserts 	Amended benefit with $95.00 gap.

ZI413	Natural Knee Tibial Baseplate 	Tibial Baseplate, Cemented - Titanium for fixed inserts 	Size 00 to 5	Changed Product Name, Description, Product

Sub-Group.

Amended benefit with $190.00 gap.

ZI414	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  with fixed long stems 	Size 00 to 5	Changed Product Name, Description.

and capacity to attach augments, Cancellous structure 	Amended benefit.

Titanium ingrowth surface for mobile inserts

ZI415	Natural Knee	Primary Tibial Baseplate - Mobile Bearing Non 	Size 00 to 5	Amended benefit with $415.00 gap.

Porous - CoCr alloy

ZI416	Natural Knee Tibial Baseplate CSTi 	Tibial Baseplate, uncemented,  with fixed long stems 	0 to 5	Changed Product Name, Description.

and capacity to attach augments, Cancellous structure 	Amended benefit.

Titanium ingrowth surface for fixed inserts

ZI417	Natural Knee Tibial Stem 	Tibial Stem, Titanium, cemented including locking bolt 	60 to 215mm	Changed Product Name, Description.

Amended benefit with $477.00 gap.

ZI418	Natural Knee Femoral Component CSTi	Femoral Component, uncemented, CoCr, with 	Size 00 to 5	Changed Product Name, Description.

Cancellous Structured Titanium ingrowth surface 	Amended benefit with $250.00 gap.

ZI419	Natural Knee Femoral Component CSTi	Femoral Component, uncemented, CoCr, with 	Size 00 to 5	Changed Product Name, Description.

Cancellous Structured Titanium ingrowth surface, 	Amended benefit with $640.00 gap.

posterior stabilised

ZI420	Natural Knee Femoral Component 	Femoral Component,  Cemented, CoCr 	Size 00 to 5	Changed Product Name, Description.

Amended benefit with $340.00 gap.

ZI421	Natural Knee Femoral Component 	Femoral Component,  Cemented, posterior stabilised, 	Size 00 to 5	Changed Product Name, Description.

CoCr 	Amended benefit with $240.00 gap.

ZI422	Natural Knee	Femoral Spacer Lug - Ti alloy	4 to 12mm	Amended benefit with $981.00 gap.

ZI423	Natural Knee Femoral Component 	Femoral component, cemented, CoCr, possterior 	Size 00 to 4 (left & right), 	Changed Product Name, Description, Product

stabilised 	Sub-Group.

Amended benefit with $1,435.00 gap.

ZI424	Natural Knee Femoral Stems 	Femoral Stem, Titanium, cemented including locking 	10.5mm/125mm to 18.5mm/250mm	Changed Product Name, Description, Size.

bolt 	Amended benefit with $1,927.00 gap.

ZI425	Natural Knee Femoral Augments	Femoral blocks combined distal and posterior, titanium 	Size 0 to 4	Changed Product Name, Description, Product

Group, Product Sub-Group.

Amended benefit with $947.00 gap.

ZI426	Natural Knee Stem Locking Bolt 	Femoral Stem Locking Bolt (additional separate listing)	One size only	Changed Product Name, Description.

Amended benefit with $10.00 gap.

ZI427	Natural Knee Posterior Stabiliser Bar 	Posterior Stabiliser Bar including fixation screws	One size only	Changed Product Name, Description.

Amended benefit with $175.00 gap.

ZI428	Natural Knee	Unicompartmental - Femur  - Ti/CoCr alloy	Size 1 to 7	Amended benefit.

ZI429	Natural Knee	Unicompartmental - Tibia PE Insert	1,2 x 9mm to 5,6 x 13mm	Amended benefit with $35.00 gap.

ZI430	Natural Knee	Unicompartmental -Tibia Baseplate - Ti alloy	Por 1 to Por 6	Amended benefit.

ZI431	Natural Knee Patella CSTi	Patella metal backed, with cancellous structure 	Size 0 to 3	Changed Product Name, Description.

Titanium ingrowth	Amended benefit.

ZI432	Natural Knee Patella 	All poly patella, cemented, UHMWPE	Size 0/7mm to 3/10 mm	Changed Product Name, Description.

Amended benefit with $40.00 gap.

Changed Items for Prostheses List Report	Page 223 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI434	SAL Knee Tibial Insert 	Tibial Insert, UHMWPE, mobile bearing 	Mobile Bearing - 0/1 to E/16	Changed Product Name, Description.

Amended benefit with $25.00 gap.

ZI435	SAL Knee	Tibial Baseplate - CoCr alloy	60/AOA to 92/E	Amended benefit with $250.00 gap.

ZI440	Anatomical	Glenoid - PE	S, M, L	Changed Product Group.

ZI441	Select Shoulder	Humeral Head Eccentric - CoCr alloy	44/19 to 56/32 	Changed Product Group, Product Sub-Group,

Suffix.

ZI442	Select Shoulder	Glenoid - PE	S, M, L, XL 	Changed Product Group.

ZI443	Select Shoulder	Stem - Ti alloy	7mm Short to 14.5mm	Changed Product Group, Product Sub-Group.

ZI444	BiPolar Head	Humeral Head used with Select Shoulder Humeral 	26/42 to 26/60	Changed Product Group, Product Sub-Group,

Stem - CoCr alloy/ PE	Suffix.

ZI445	Intermedics Select Shoulder	UniPolar Head  -metal alloy	40 x 16mm to 56 x 32mm	Changed Product Group, Product Sub-Group.

ZI446	Intermedics Select Shoulder	Long Stem - Ti alloy	7 to 14.5mm	Changed Product Group, Product Sub-Group.

ZI447	Bioresorbable Screw	Polylactide	One size only	Changed Product Group, Product Sub-Group,

Suffix.

ZI448	Cannulated Screw	Ti alloy	One size only	Changed Product Group, Product Sub-Group,

Suffix.

ZI450	Natural Knee Tibial Insert	Tibial Insert, UHMWPE, Highly crossed linked 	00 to 5, 9 to 22mm	Changed Product Name, Description, Size.

(Durasul PE), congruent and ultra congruent 	Amended benefit with $290.00 gap.

ZI451	Allofit screw hole plugs	Sterile, 7 per set	One size only	Changed Product Group, Product Sub-Group,

Suffix.

ZI454	Natural Knee Patella CSTi	Patella metal backed, with cancellous structure 	0-3	Changed Product Name, Description.

Titanium ingrowth with highly crosslinked poly 	Amended benefit with $385.00 gap.

(durasul)

ZI459	Collagen Meniscus Implant	Porous collagen-glycosaminoglcan matrix	7.5mm, 9mm	Changed Product Group, Product Sub-Group.

ZI462	Alloclassic Hip Stem	Titanium, grit blast, non HA, standard and high offset	1 - 14	Changed Description.

ZI464	GSB Elbow	Ulna Extension	One size only	Changed Product Group, Suffix.

ZI465	GSB Elbow	Special Bushing for Humerous	Length 76 - 86mm	Changed Product Group.

ZI466	Durom (Metasul)	Resurfacing femoral component	A - V	Changed Product Name, Description.

ZI467	Durom resurfacing cup 	CoCr and Titanium, plasma spray, non HA 	A - V	Changed Product Name, Description.

ZI468	CLS Cementless Hip	Titanium, grit blast, non HA	5 - 20	Changed Description.

ZI471	NCB Plates	Polyaxial locking plates, special titanium alloy	Plate size 60 to 324mm long	Changed Product Name, Description, Size,

Product Group, Product Sub-Group, Suffix.

ZI472	Durom (Metasul) Resurfacing System - Ballhead	Forged CoCr femoral head	A1 to L1	Changed Product Name, Description.

ZI473	APR Conversion Ring	Titanium ring	39 to 71	Changed Description.

ZI484	Wristore	Disposable External Fixation device for the treatment 	Wristore Pack	Changed Product Group.

of distal radial fractures.

ZI485	Trabecular Metal Tibial Cone	Trabecular Metal Tibial void filling cone for proximal 	Changed Product Name, Description, Suffix.

metaphyseal bone surrounding stem, full or stepped	Amended benefit with $1,468.00 gap.

ZI486	Zimmer Periarticular Locking Screws	Stainless Steel Periarticular Locking screws to 	2.4mm, 2.7mm, 3.5mm, 4.5mm, 5.5mm, and 8mm to 	Changed Product Group, Product Sub-Group,

accompany Periarticular Locking Plates	60mm in 2mm increments and 60mm to 100mm in 	Suffix.

5mm increments.

Changed Items for Prostheses List Report	Page 224 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI490	Revitan Modular Proximal Body	Titanium, grit blast, non HA, femoral body	55, 65, 75, 85, 95 and 105mm heights	Changed Description.

ZI491	Trabecular Metal Acetabular Revision System 	UHMPE modified 	28mm x 48mm-80mm - 0deg & 10deg; 32mm x 54-	Changed Product Name, Description.

Longevity Liner 	80mm - 0deg & 10 deg; 36mm x 58mm-80mm - 0deg

& 10deg; 40mm x 62-80mm - 0deg & 10 deg

ZI492	Trabecular Metal Femoral Stem	Titanium, porous tantalum 	Sizes 9 to 18 with standard and extended offsets	Changed Description, Product Sub-Group.

ZI493	M/L Taper   Stem	Plasma sprayed titanium with HA 	Sizes 5 to 22 with standard and extended offsets	Changed Product Name, Description.

ZI494	ZUK (Zimmer Uni-Compartmental High Flex Knee) 	Femoral Component, cemented, CoCr, high flex 	Sizes A to G	Changed Product Name, Description.

Femoral Component 	Amended benefit.

ZI495	Zimmer Anatomic II 	Titanium, plasma spray with HA	Sizes 1 - 12, left and right	Changed Product Name, Description.

ZI496	Revitan Modular Straight Stem	Titanium,Grit blasted, non HA, cobalt chrome junction	14mm diameter x 140mm long to 24mm diameter x 	Changed Description, Suffix.

260mm long

ZI502	Natural Knee	Primary Tibial Baseplate - Mobile Bearing Non 	Size 00 to 5	Amended benefit with $230.00 gap.

Porous - CoCr alloy

ZI503	Natural Knee	Primary Tibial Baseplate - Mobile Bearing Non 	Size 00 to 5	Amended benefit.

Porous - CoCr alloy

ZI504	Natural Knee	Revision - Femoral Spacers Non Porous - metal alloy	Size 0 to 4	Amended benefit with $382.00 gap.

ZI515	NexGen Prolong Tibial Insert 	Tibial Insert, Highly Crosslinked - UHMWPE 	Sizes A - G 9mm to 20mm	Changed Product Name, Description.

(prolong), mobile bearing 	Amended benefit with $290.00 gap.

ZI516	Trabecular Metal Femoral Cone 	Trabecular Metal femoral void filling cone for distal 	Small, Medium, Large	Changed Product Name, Description, Suffix.

metaphyseal bone surrounding stem	Amended benefit with $7,125.00 gap.

ZI520	Alloclassic Zweymuller Hip Stem HA Coated	Titanium, grit blast, with HA	1 - 12	Changed Description.

ZI521	NexGen LPS Prolong Tibial Insert 	Tibial Insert, Highly Crosslinked - UHMWPE 	Sizes A - G, 9mm to 20mm	Changed Product Name, Description.

(prolong), fixed posterior stabilised 	Amended benefit with $230.00 gap.

ZI522	SIRUS Nail	Sirus Tibial Nail	8, 9, 10mm diam x 240 to 420mm in 14mm increments	Changed Product Group, Product Sub-Group.

ZI523	SIRUS Nail	Sirus Femoral Nail	9, 10, 11, 12, 13mm diam x 300 to 480mm in 20mm 	Changed Product Group, Product Sub-Group,

increments	Suffix.

ZI524	SIRUS Nail	Sirus Locking Screws	3.9, 4.9mm x 24 to 100mm	Changed Product Group, Product Sub-Group,

Suffix.

ZI525	SIRUS Nail	Sirus Cervical Screws	6.5mm diam x 60 to 140mm in 5mm increments	Changed Product Group, Product Sub-Group.

ZI526	SIRUS Nail	Sirus End Cap	5-25mm length in 5mm increments	Changed Product Group, Product Sub-Group.

ZI528	Zimmer Trabecular Metal Reverse Shoulder System	Trabecular Metal Humeral Stem Titanium Alloy and 	12mm x 130mm; 12mm x 170mm; 14mm x 130mm	Changed Product Group, Product Sub-Group,

Tantalum	Suffix.

ZI529	Zimmer Trabecular Metal Reverse Shoulder System	Polyethylene Liner	Standard 7 Deg. & Retentive 65 Deg; 36mm - Neutral,	Changed Product Group, Product Sub-Group.

Plus 3mm, Plus 6mm; 40mm - Neutral, Plus 3mm,

Plus 6mm

ZI530	Zimmer Trabecular Metal Reverse Shoulder System	Spacer	9mm, 12mm Taper Insert	Changed Product Group, Product Sub-Group.

ZI531	Zimmer Trabecular Metal Reverse Shoulder System	Dual Taper Insert	One Size Only	Changed Product Group, Product Sub-Group.

ZI532	Zimmer Trabecular Metal Reverse Shoulder System	Glenosphere - CoCr - Mo Alloy	36mm, 40mm	Changed Product Group, Product Sub-Group.

ZI533	Zimmer Trabecular Metal Reverse Shoulder System	Trabecular Metal Reverse Base Plate - Ti Alloy & 	One Size Only	Changed Product Group, Product Sub-Group.

Tantalum

ZI534	Zimmer Trabecular Metal Reverse Shoulder System	Inverse/Reverse Screw 4.5mm	18mm, 24mm, 27mm, 30mm, 33mm, 36mm, 42mm, 	Changed Product Group, Product Sub-Group.

48mm

Changed Items for Prostheses List Report	Page 225 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

ZI541	Zimmer Universal Locking System	3.5mm Universal Locking System Reconstruction 	3 hole 40mm; 4 hole 53mm; 5 hole 79mm; 7 hole 	Changed Product Group, Product Sub-Group.

Plates, Straight-Sterile-Sterile & Non Sterile	92mm; 8 hole 105mm; 9 hole 118mm; 10 hole

131mm; 11 hole 144mm; 12 hole 157mm

ZI542	Zimmer Universal Locking System	3.5mm Locking Dual Compression Plate Sterile and 	4 hole 53mm; 5 hole 66; 6 hole 79mm; 7 hole 92mm; 8	Changed Product Group, Product Sub-Group.

Non Sterile	 hole 105mm; 9 hole 118mm; 10 hole 131mm; 11 hole

144mm; 12 hole 157mm; 14 hole 183mm

ZI543	Zimmer Universal Locking System	3.5mm Locking T Plate Sterile and Non-Sterile	3 hole head 5 hole shaft 73mm length; 4 hole head 6 	Changed Product Group, Product Sub-Group.

hole shaft 85mm length; 3 hole head 3 hole shaft left

51mm length; 3 hole head 4 hole shaft left 63mm

length; 3 hole head 3 hole shaft right 51mm length; 3

hole head 4 hole shaft right 63mm length.

ZI544	Zimmer Universal Locking System	3.5mm Locking One-Third Tubular Plate - Sterile and 	5 hole 68mm; 6 hole 81mm; 7 hole 94mm; 8 hole 	Changed Product Group, Product Sub-Group.

non-sterile	107mm; 10 hole 133mm

ZI545	Zimmer Universal Locking system	3.5 mm Optional Locking Reconstructive Plate- Sterile 	13 hole; 14 hole; 15 hole; 16 hole; 18 hole; 20 hole; 22 	Changed Product Group, Product Sub-Group.

and Non-Sterile	hole

ZI546	Zimmer Universal Locking System	3.5mm Optional Locking dual Compression Plate - 	16 hole; 20 hole	Changed Product Group, Product Sub-Group.

Sterile and Non-Sterile

ZI547	Zimmer Universal Locking System	3.5mm  Optical Locking-Third Tubular Plate-Sterile &	3 hole; 4 hole; 12 hole; 14 hole	Changed Product Group, Product Sub-Group.

Non Sterile

ZI548	Zimmer Universal Locking System	2.7mm Universal Locking Screw	Length:8mm; 10mm; 12mm; 14mm; 16mm; 18mm; 	Changed Product Group, Product Sub-Group,

20mm; 22mm; 24mm; 26mm; 28mm; 30mm; 32mm; 	Suffix.

34mm; 36mm; 38mm; 40mm; 42mm; 44mm; 46mm;

48mm; 50mm; 55mm; 60mm

ZI549	Zimmer Universal Locking System	2.7mm Universal Locking System Reconstruction 	6 hole 49mm; 8 hole 65mm	Changed Product Group, Product Sub-Group,

Plates, Straight - Sterile & Non Sterile	Suffix.

ZI550	Zimmer Universal Locking System	2.7mm Locking Dual Compression Plate Sterile and 	2 hole 26mm; 4 hole 49mm; 6 hole 72mm; 7 hole 	Changed Product Group, Product Sub-Group,

Non Sterile	84mm; 8 hole 95mm; 9 hole 107mm; 10 hole 118mm; 	Suffix.

12 hole 141mm; 16 hole 187mm

ZI551	Zimmer Universal Locking System	2.7 mm Locking T & L Plate Sterile and Non-Sterile	2 hole head 3 hole shaft 39mm length; 2 hole head 5 	Changed Size, Product Group, Product Sub-

hole shaft 62mm length; 3 hole shaft left 39mm; 3 hole	Group, Suffix.

shaft right 39mm; 3 hole shaft oblique left 42mm; 3

hole shaft oblique right 42mm; 5 hole shaft left 62mm;

5 hole shaft right 62mm; 5 hole shaft obl

ZI552	Zimmer Universal Locking System	2.7mm Locking One-Quarter Tubular Plate-Sterile and	3 hole 36mm; 4 hole 47mm; 5 hole 59mm; 6 hole 	Changed Product Group, Product Sub-Group,

Non-Sterile	70mm;l 7 hole 82mm; 8 hole 93mm	Suffix.

ZI553	M/L Taper Kinectiv Neck	Neck component for M/L taper stem	size K, S, A, E, P, X, B, G, R, C, J, D, K1, S1, AA, E1, 	Changed Description.

P1, X1, K2, E2, BB, G1, R1 ,S2, P2, G2, CC, J1, X2,

R2, J2, DD

ZI554	M/L Taper Hip Stem with Kinectiv Technology	Titanium, plasma, non HA	size 5, 6, 7.5, 9, 10, 11, 12.5, 13.5, 15,16.25,17.5	Changed Description.

ZI555	M / L Taper Hip Stem with Kinectiv Technology	Titanium, plasma spray with HA	size 5,  6 , 7.5, 9, 10, 11, 12.5, 13.5, 15, 16.25, 17.5	Changed Product Name, Description.

ZI556	Avenir- Muller Stem	Titanium, grit blast, with HA	Standard sizes 1-8;  Lateral sizes 1-8	Changed Description.

ZI558	Natural Knee II Flex Femur CSTi	Femoral Component, uncemented, CoCr, with 	Sizes 1 to 5 GSM Left & Right and Sizes 0 to 4 GSF 	Changed Product Name, Description.

cancellous structure titanium ingrowth CSTi High Flex 	Left and Right	Amended benefit with $970.00 gap.

ZI559	Natural Knee II Flex Femur	Femoral Component, cemented, CoCr, High Flex 	Sizes 1 to 5 GSM Left and Right and Sizes 0 to 4 GSF 	Changed Description.

Left and Right	Amended benefit with $1,160.00 gap.

Changed Items for Prostheses List Report	Page 226 of 227

Billing Code	Product Name	Further Description	Size	Explanation of Change

Grand Total:	4945 Records

Changed Items for Prostheses List Report	Page 227 of 227