Deleted Items for Prostheses List	July 2008

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Abbott Australasia Pty Ltd

General/Miscellaneous

AY001	Flexiflo Stomate - low profile gastrostomy kit	Flexiflo Stomate - low profile gastrostomy kit	Size: 18 french, length: 2, 2.8, 4.3cm; Size 22 french. 	Deleted.

Length: 1.7, 2.8, 4.3cm

AY003	Durapeg kit	Durapeg kit	16F	Deleted.

AY004	Hide-A-Port	Hide-A-Port	Size: 14 french, length: 1.5cm; Size: 16 french, Length: 	Deleted.

1.5, 2.0cm; Size: 18 french, Length: 1.2cm, 1.5cm,

1.7cm, 2.0cm, 2.3cm, 2.5cm, 3.0cm, 3.5cm, 4.0cm;

Size: 20 french, Length: 2.0cm, 2.7cm, 3.0cm, 3.5cm,

4.0cm; Size: 24 french, Length: 1.7cm, 2.0cm, 2.5cm,

2.7cm, 3.5cm

Advanced ORT Pty Ltd

General/Miscellaneous

OA003	Adjustable Peri Gastric Belt-Midband	Adjustable Peri Gastric Belt-Midband	Peri gastric band - 2.2 x 17.5 x 0.8cm, Implantable 	Transferred to LH003.

chamber - one size only

Vascular

OA004	Thoratec, Vectra Vascular Graft - Synthetic	Thoratec, Vectra Vascular Graft - Synthetic	Length 40cm	Transferred to LH004.

OA005	Thoratec, Vectra Vascular Graft - Synthetic	Thoratec, Vectra Vascular Graft - Synthetic	Length 50cm	Transferred to LH005.

OA006	Thoratec, Vectra Vascular Graft - Synthetic	Thoratec, Vectra Vascular Graft - Synthetic	Length 20cm	Transferred to LH006.

Advanced Surgical Technologies

Orthopaedic

AD243	Guardian Limb Salvage System	Guardian Limb Salvage System	40, 50, 60, 70, 90, 110, 140mm	Expanded into AD338, AD339.

Alcon Laboratories (Aust.) Pty Ltd

Ophthalmic

AL017	Alcon AcrySof ReSTOR PC Diffractive IOL Model 	Alcon AcrySof ReSTOR PC Diffractive IOL Model 	+10.0 to +30.0 D	Deleted.

SA60D3	SA60D3

AL018	SILIKON 1000 Vitreoretinal Surgical Device	SILIKON 1000 Vitreoretinal Surgical Device	10 mL	Deleted.

American Medical Systems

Urogenital

AM012	Triangle Sling	Triangle Sling	18 x 55 mm	Deleted.

AM031	AMS 800 Artificial Urinary Sphincter Deactivation 	AMS 800 Artificial Urinary Sphincter Deactivation 	One Size	Deleted.

Package	Package

Deleted Items for Prostheses List Report	Page 1 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

AM035	Acticon Artificial Bowel Sphincter Deactivation 	Acticon Artificial Bowel Sphincter Deactivation Package	One Size	Deleted.

Package

AM039	AMS 700 Series Inflatable Penile Prostheses with 	AMS 700 Series Inflatable Penile Prostheses with 	One Size	Deleted.

InhibiZone Accessory Kit	InhibiZone Accessory Kit

AM047	AMS Ambicor	AMS Ambicor	12.5mm in 14, 16 & 18cm length, 14mm in 16, 18 & 	Deleted.

20cm length, 15.5mm in 18, 20 & 22cm length

Applied Medical Australia Pty Ltd

Urogenital

MH011	Silhouette Ureteral Stent	Silhouette Ureteral Stent	4F, 10cm - 12 cm in 2cm increments	Deleted.

10 cm - Part No. B3829

12 cm - Part No. B3830

Atrium Australia - Pacific Rim Pty Limited

Plastic and Reconstructive

AC024	Atrium Advanta PTFE Facial Implant	Atrium Advanta PTFE Facial Implant	Round Strands - Diameter 1.8mm - 3.0mm Length 	Deleted.

15cm with or without preattached trocar; Oval Strands

- Diameter 2.0mm - 3.5mm by 3.2mm - 6.5mm

Length 15cm with or without preattached trocar.

Australasian Medical & Scientific Ltd

General/Miscellaneous

AN001	Animas IR 1000 Insulin Infusion Pump	Animas IR 1000 Insulin Infusion Pump	One size only	Deleted.

Austramedex (VIC) Pty Ltd

Plastic and Reconstructive

AR003	Enophthalmos Wedge	Enophthalmos Wedge	Regular: 22 x 31 x 7mm. Large: 28 x 40 x 7.5mm	Transferred to MF020.

AR004	Orbital Rim	Orbital Rim	Left & right extended models 47 x 40mm Oribtal Rim 	Transferred to MF021.

Onlay Implants left & right 40 x 40mm

AR005	Complete Orbital Shape	Complete Orbital Shape	Inferior: 83 x 78mm	Transferred to MF022.

AR006	Chins	Chins	Extended chin Implants design RZ round small: 45 x 47	Transferred to MF023.

x 3mm, medium 45 x 47 x 5mm, large 45 x 47 x

7mm; Extneded Chin Implants square small 45 x 47

x3mm; Medium 45 x 47 x 5mm; Large 45 x 47 x

7mm; Two piece design small 46 x 33 x 5mm;

Medium 56 x 36 x 7mm; Large 57 x 38 x 9mm, Single

piece design small 65 x 37 x 5mm; Medium 65 x 37 x

7mm, Large 65 x 37 x 10mm, Additional Chin Designs

round 53mm length x 13mm projection, 74mm

Length x 10mm projection, 50mm Length x 7mm

projection, 40mm length x 4mm projection, contoured

two piece design extra small 72 x 42 x 3mm, small 74

x 42 x 5mm, medium 78 x 50 x 7mm, Large 80 x 55

x9mm, Button Chins Small 40 x 25 4mm, Medium,

Large.

Deleted Items for Prostheses List Report	Page 2 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

AR007	Genioplasty Wedge	Genioplasty Wedge	Small 60 x 25 x 5mm, medium 60 x 25 x 7.5mm, large	Transferred to MF024.

60 x 25 x 10mm

AR008	Prejowl Shape	Prejowl Shape	45 x 41 x 4mm	Transferred to MF025.

AR010	Malar Shape	Malar Shape	Design RZ malar shapes: super petite left and right 50 	Transferred to MF026.

x 19 x 3mm, Design RZ malar shapes petite left and

right 50 x 19 x 5mm. Design malar shapes: small left

and right  64 x 19 x 3mm, left and right medium 64 x

19 x 4.5mm, Left and right large 64 x 19 x 7mm.

Additional malar shapes small left and right: 45 x 24 x

3mm, medium left and right:  50 x 26 x 4mm, large

left and right: 55 x 27 x 5mm Contoured left & right 38

x 27 x 4mm

AR011	Nasal Shape or Rhinoplasty Shape	Nasal Shape or Rhinoplasty Shape	Nasal arch shapes: small 70 x 13 x 2mm, medium 70 x	Transferred to MF027.

15 x 2mm, large 70 x 15 x 2mm, sheet 40 x 9 x

1.1mm. Nasal dorsum shapes: design A small 53 x

5mm, design A large 66 x 8mm, design B 67 x 6.5mm.

Nasal valve support: lateral nasal valve 13 x 0.85 x

AR012	Micro Thin Sheet	Micro Thin Sheet	8438: 30 x 50 x 0.4mm,  83020: 38 x 50 x 0.25mm, 	Transferred to MF028.

83022: 38 x 50 x 0.35mm, 83029: 38 x 50 x 0.45mm

AR013	Ultra Thin Sheet	Ultra Thin Sheet	38 x 50 x 0.85mm	Transferred to MF029.

AR014	Sheet	Sheet	Sheets 6330: 38 x 50 x 1.5mm, 6331: 50 x 76 x 1.5mm,	Transferred to MF030.

8662: 76 x 127 x 1.5mm, 9862: 38 x 50 x 3mm.

Microplate single channel Sheet 9528: 38 x 50 x

0.85mm. Barrier microplate single channel Sheet

9527: 38 x 50 x 0.85mm. Titan implant sheets 81020:

76 x 50 x 0.85, 81021: 38 x 50 x 0.85, 81022: 38 x 50 x

1.5mm, 81023: 76 x 50 x 1.5mm, 81024: 38 x 50 x

0.6mm, 81025: 76 x 50 x 0.6mm, 81026: 38 x 50 x

1mm, 81027: 76 x 50 x 1mm, 81028: 38 x 50 x 1.6mm,

81029: 76 x 50 x 1.6mm, 81030: 41 x 42 x 0.85mm,

81031 (left): 41 x 42 x 1.0mm, 81032 (right): 41 x 42 x

1.0mm, 81033: 41 x 42 x 0.6mm

AR015	Barrier Sheet: Barrier Sheet - Orbital Floor	Barrier Sheet: Barrier Sheet - Orbital Floor	 Barrier  sheet - Rectangle: 50 x 76  x 1mm, 50 x 76 x 	Transferred to MF031.

1.6mm: 50 x 76 x 1mm, 50 x 76 x 1.6mm.  Orbital

Floor: 38 x 50 x 1mm, 38 x 50 x 1.6mm

AR016	Block	Block	6332: 13 x 38 x 3mm, 6333: 13 x 38 x 6mm, 6334: 13 x	Transferred to MF032.

38 x 9.5mm, 6335: 25 x  50 x 3 mm, 6336: 25 x 50 x

6mm, 6337: 25 x 50 x 9.5mm, 6338: 38 x 63 x 3mm,

6339: 38 x 63 x 6mm, 6340: 38 x 63 x 9.5mm 6359:

150 x 201mm

AR018	Flexblock TF2	Flexblock TF2	Flexblock TF2: small left & right 61 x 78 x 18mm, 	Transferred to MF033.

Medium left & right 74 x 93 x 20mm, large left &

right 82 x 105 x 20mm

Deleted Items for Prostheses List Report	Page 3 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

AR019	Sphere	Sphere	Orbital Sphere Models 6316: 14mm, 6326: 16mm, 	Transferred to MF034.

6327: 18mm, 6317: 20mm, 6322: 22mm, 8702: 19mm,

8703: 21mm, 8704: 23mm, COI Implants 7222:

Approx 4ml, 7223: Approx 5ml, 80026: Approx 6ml,

MCOI 7207: Approx 3ml, 7208: Approx 4.2ml,  7209:

Approx 5.6ml, QUAD Motility Small 16ml, Medium:

18ml, Large: 20ml, Extra Large: 22ml.

AR020	Ear Reconstruction	Ear Reconstruction	Helical rim: 37 x 62mm	Transferred to MF035.

AR023	Complete Orbital Shape	Complete Orbital Shape	Complete 61 x 76mm	Transferred to MF036.

AR024	Mandibular angle	Mandibular angle	RZ mandibular angles: 65 x 35 x 3 x 6.5 x 3 x 3mm, 65	Transferred to MF037.

x 35 x 7 x 6.5 x 3 x 3mm, 65 x 35 x 11 x 6.5 x 3 x

3mm. Contoured mandibular angles left and right:59 x

29 x 7 x 11mm.

AR025	Nasal Shape. Petite Nasal Dorsum.	Nasal Shape. Petite Nasal Dorsum.	Petite Nasal Dorsum: 4 x 4 x 45mm, 4 x 4 x 55mm, 5 	Transferred to MF038.

x 5 x 45mm, 5 x 5 x 55mm, 6 x 9 x 55mm.

AR026	Nasal Valve Support.	Nasal Valve Support.	Lateral Nasal Valve:13 x 3.5 x 0.85mm, External 	Transferred to MF039.

Nasal Valve Batten: 25 x 11 x 0.85mm, External Nasal

Valve Batten - Thin: 24 x 11.5 x 0.6mm.

AR027	Nasal Sheet (Strut).	Nasal Sheet (Strut).	Nasal Sheet (Strut): 40 x 9 x 1.1mm	Transferred to MF040.

AR028	Nasal Shell Shapes.	Nasal Shell Shapes.	Regular: 38 x 21 x 17mm, Insert Small 30 x 4 x 9mm, 	Transferred to MF041.

Insert Large 38 x 2.5 x 9mm. Large: 40 x 20 x 18mm,

Insert Small 32 x 4 x 9mm, Insert Large 41 x 3 x

9mm. Thin Nasal Dorsal Shell 42.7mm x 16.4mm x

AR029	Ultra Thin Sheet	Ultra Thin Sheet	50 x 76 x 0.85mm	Transferred to MF042.

AR030	Ultra Thin Sheet	Ultra Thin Sheet	76 x 127 x 0.85mm	Transferred to MF043.

AR031	Ultra Thin Sheet	Ultra Thin Sheet	127 x 178 x 0.85mm	Transferred to MF044.

AR032	Sheet - Multi Channel, Barrier Channel.	Sheet - Multi Channel, Barrier Channel.	Miniplate channel: 40 x 52 x 2.3mm. Mircoplate 	Transferred to MF045.

channel: 40 x 52 x 2.3mm. Barier Miniplate and

Microplate Channel Sheets: 40 x 52 x 2.3mm, 40 x 52 x

2.3mm

AR033	Sheet - Barrier Single Channel Sheet.	Sheet - Barrier Single Channel Sheet.	Barrier Single Channel: 38 x 50 x 0.85mm	Transferred to MF046.

AR034	Flexblock TF2	Flexblock TF2	Flexblock TF2: large 82 x 105 x 20mm.	Transferred to MF047.

AR035	Flexblock TF	Flexblock TF	Flexblock TF: small 70 x 70 x 10mm, medium 88 x 86 	Transferred to MF048.

x 15mm,

AR036	Flexblock TF	Flexblock TF	Flexblock TF: large 98 x 95 x 18mm.	Transferred to MF049.

AR037	Flexblock, Cranial Grid	Flexblock, Cranial Grid	Flexblock cranial grid: 97 x 107 x 6mm.	Transferred to MF050.

AR038	Flexblock	Flexblock	Flexblock: 56 x 91 x 4mm.	Transferred to MF051.

AR039	Ear Reconstruction	Ear Reconstruction	Ear base: 29 x 55 x 13mm, 32 x 65 x 16mm. Ear base 	Transferred to MF052.

extended: 30 x 60mm.

B Braun Australia Pty Ltd

General/Miscellaneous

BB282	Easy-Pump C-Block RA	Easy-Pump C-Block RA	400ml	Deleted.

Deleted Items for Prostheses List Report	Page 4 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

BB283	Easy-Pump C-Block RA	Easy-Pump C-Block RA	400ml	Deleted.

BB284	Easy-Pump C-Block RA	Easy-Pump C-Block RA	400ml	Deleted.

BB285	Easy-Pump C-Block RA	Easy-Pump C-Block RA	400ml	Deleted.

BB286	Easy-Pump C-Block RA	Easy-Pump C-Block RA	400ml	Deleted.

Biomet Australia Pty Ltd

Orthopaedic

BI166	Compress Finn Limb Salvage System	Compress Finn Limb Salvage System	15 plugs, 9 segments, 8 pins, 14 sleeves, 26 spindles	Expanded into BI963, BI964, BI965.

BI234	Arthrotek Ligament Fixation System	Arthrotek Ligament Fixation System	14mm, 18mm	Deleted.

BI235	Arthrotek Ligament Fixation System	Arthrotek Ligament Fixation System	30,35,40mm	Deleted.

BI245	EBI Bone Healing System	EBI Bone Healing System	1, 2 or 4 lead models	Deleted.

BI769	Mandibular Fracture System	Mandibular Fracture System	Dia 2.0 x 5.0, 7.0mm length	Compressed into BI768.

BI801	Ascent Total Knee System	Ascent Total Knee System	59-91mm width x 8-20mm thickness	Compressed into BI798.

BI803	ST Pro Nailing System	ST Pro Nailing System	Dia 8-16mm	Deleted.

BI804	ST Pro Nailing System	ST Pro Nailing System	Fully threaded - dia 4-6mm, 20-100mm length; 	Deleted.

Partially threaded - dia 6.4mm, length 70-120mm

BI805	ST Pro Femoral Nail	ST Pro Femoral Nail	Dia 10-16mm, length 260-520mm	Deleted.

BI806	ST Pro Humeral Nail	ST Pro Humeral Nail	Dia 8-9mm, length 180-280mm	Deleted.

BI807	ST Pro Tibial Nail	ST Pro Tibial Nail	Dia 8-11mm, length 240-420mm	Deleted.

BI859	Oxford Meniscal Knee System	Oxford Meniscal Knee System	Small - Extra Large	Expanded into BI966, BI967.

BI872	MAX-Ti Modular Protrusio Cage	MAX-Ti Modular Protrusio Cage	Protrusio Cage 52, 56, 60, 64, 68, 72mm Left & Right	Deleted.

BI874	MAX-Ti Modular Protrusio Cage	MAX-Ti Modular Protrusio Cage	Iliac Flange Augment 6mm Flat & Wedge	Deleted.

BI935	Generation 4 - Polished Hip System	Generation 4 - Polished Hip System	9-17mm	Deleted.

Boston Scientific Australia Pty Ltd

General/Miscellaneous

BS048	Covered Oesophageal Wallstent	Covered Oesophageal Wallstent	(Lengths up to 11cm): 100mm, Diameter: 20-28mm	Deleted.

BS050	Stent (Billiary Wallstent)	Stent (Billiary Wallstent)	10mm x 56 to 62 mm, 10mm x 78 to 86 mm, 10mm x 	Deleted.

101 to 111mm

ConMed Linvatec Australia Pty Ltd

Orthopaedic

LV002	Li Medical Ultrasorb Bioabsorable Suture Anchor	Li Medical Ultrasorb Bioabsorable Suture Anchor	.	Deleted.

LV007	Bio Twist Bioabsorbable Rotator Cuff Anchor	Bio Twist Bioabsorbable Rotator Cuff Anchor	6mm diameter	Deleted.

Deleted Items for Prostheses List Report	Page 5 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Corin Australia Pty Ltd

Orthopaedic

CR006	Rotaglide + Total Knee System, Patella UHMWPE	Rotaglide + Total Knee System, Patella UHMWPE	Sml (26mm OD) - Lg (34mm OD)	Compressed into CR005.

CR062	Metal Insert for Alpha Cera Fit Cup	Metal Insert for Alpha Cera Fit Cup	28mm Inner Diameter for 48-74mm Cups	Deleted.

CR064	Ball Heads 12 - 24 Taper (Tin Coated)	Ball Heads 12 - 24 Taper (Tin Coated)	28mm x Small; 28mm x Medium; 28mm x Large; 	Deleted.

28mm x XLarge; 28mm x XXLarge; 28mm x

XXXLarge

CR088	Alphalock Constrained Liner	Alphalock Constrained Liner	48 to 70mm outer diameter in 2mm increments	Deleted.

Device Technologies Australia Pty Ltd

Orthopaedic

DE060	Avulsion Screw	Avulsion Screw	45mm	Deleted.

DE063	Parachute Corkscrew Suture Anchor	Parachute Corkscrew Suture Anchor	3.5mm - 5mm	Deleted.

DE064	Corkscrew Suture Anchor 	Corkscrew Suture Anchor 	3.5 - 6.5mm x  5.0mm	Deleted.

DE066	FASTak Titanium Suture Anchor	FASTak Titanium Suture Anchor	One size only	Deleted.

DE075	Arthrex Headed Bio-absorbable Corkscrew	Arthrex Headed Bio-absorbable Corkscrew	8mm	Deleted.

DE081	Tissue Tak	Tissue Tak	3mm - 4.5mm	Deleted.

DE095	Fixation IM Nail - Proximal femur	Fixation IM Nail - Proximal femur	Dia 10 x 220mm, length 12 x 380mm	Deleted.

DE124	Fixion Hip Pin	Fixion Hip Pin	Diameter 5mm x length 60-100mm	Deleted.

DE125	Bio-Corkscrew	Bio-Corkscrew	3.5-6.5mm	Deleted.

DE129	Fixion Peg	Fixion Peg	Diameter 8mm x lengths 80, 90, 100, 110, 120mm	Deleted.

Plastic and Reconstructive

DE031	Style 363 Biodimensional Low Anatomical Saline-	Style 363 Biodimensional Low Anatomical Saline-Filled	230 - 240 cm3 x 650 - 685 cm3	Deleted.

Filled Mammary Implant	 Mammary Implant

Vascular

DE267	Relay Thoracic Stent Graft	Relay Thoracic Stent Graft	Diameter 22-46mm, Length 103-271mm	Expanded into DE281, DE282.

Edwards Lifesciences Pty Ltd

Cardio-thoracic

EL029	SE SIL Ball Valve Aortic Models 1200/1260, SE SIL 	SE SIL Ball Valve Aortic Models 1200/1260, SE SIL 	16mm-34mm	Deleted.

Ball Valve Mitral Model 6120	Ball Valve Mitral Model 6120

Vascular

EL052	Lifestent	Lifestent	Diametre:  6-8mm, Length: 110-170mm	Expanded into EL053, EL054, EL055.

Deleted Items for Prostheses List Report	Page 6 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Endocorp Pty Ltd

General/Miscellaneous

EC002	Denver Pleuro-Peritoneal Shunt	Denver Pleuro-Peritoneal Shunt	Pump length 7.5 cm  Pump Height 1.0 cm Pump 	Deleted.

Width 1.7 cm (not including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside diameter 0.51 cm

EC003	Denver Pleuro-Peritoneal Shunt	Denver Pleuro-Peritoneal Shunt	Pump length 7.5 cm  Pump Height 1.0 cm  Pump 	Deleted.

Width 1.7 cm (not including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside diameter 0.51 cm

EC004	Denver Pleuro-Peritoneal Shunt	Denver Pleuro-Peritoneal Shunt	Pump length 7.5 cm  Pump Height 1.0 cm  Pump 	Deleted.

Width 1.7 cm (not including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside diameter 0.51 cm

EC005	Denver Pleuro-Peritoneal Shunt	Denver Pleuro-Peritoneal Shunt	Pump length 7.5 cm  Pump Height 1.0 cm  Pump 	Deleted.

Width 1.7 cm (not including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside diameter 0.51 cm

EC007	Denver Peritoneo-Venous Shunt	Denver Peritoneo-Venous Shunt	Pump length 7.5 cm  Pump Height 1.0 cm  Pump 	Deleted.

Width 1.7 cm (not including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside diameter 0.51 cm

EC046	Pleurx	Pleurx	Catheter 24cm x 15.5Fr	Transferred to CI005.

Endovision Pty Ltd

Urogenital

ED004	Memokath Prostatic - Urethral Stents	Memokath Prostatic - Urethral Stents	 5mm - 90mm	Transferred to ET054.

ED006	Memokath Ureteric Stent	Memokath Ureteric Stent	30mm - 200mm	Transferred to ET055.

ESKA Australia

Orthopaedic

EK004	Metal Shell Type 2000/2000 Plus	Metal Shell Type 2000/2000 Plus	.	Deleted.

EK005	Metal Shell Type 2000/2000 Plus	Metal Shell Type 2000/2000 Plus	.	Deleted.

EK008	Metal Shell Type 2000/2000 Plus	Metal Shell Type 2000/2000 Plus	.	Deleted.

EK019	ESKA Modular All Poly Cup	ESKA Modular All Poly Cup	.	Deleted.

EK039	Hip Surf Replacement Cemented Silver BS	Hip Surf Replacement Cemented Silver BS	38mm - 68mm	Deleted.

EK048	Tibial Plateau RP/A	Tibial Plateau RP/A	8-10-12-14mm	Compressed into EK044.

EK057	Profi Peg Nail CoCr	Profi Peg Nail CoCr	10 x 30, 40, 50mm length	Deleted.

EK058	Nail TiNb	Nail TiNb	6 x 30, 40, 50mm length	Deleted.

EK061	Large Metal Head Silver CoCr	Large Metal Head Silver CoCr	38mm - 48mm	Deleted.

EK083	Adaptor Hip System Cemented Dual Cone	Adaptor Hip System Cemented Dual Cone	10-20 deg - XL	Deleted.

EK085	Large Metal Head Silver Surf	Large Metal Head Silver Surf	38mm - 48mm	Deleted.

Deleted Items for Prostheses List Report	Page 7 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

ev3 Australia Pty Ltd

Neurosurgical

EE009	NXT Detachable Coils	NXT Detachable Coils	Diameter 3 -18mm/ Length 4-29 cm	Deleted.

EE012	NXT Detachable Coils	NXT Detachable Coils	Diameter 2-4mm/ Length 2-10cm	Deleted.

EE013	NXT Detachable Coils	NXT Detachable Coils	Diameter 2-5mm/ Length 1-10cm	Deleted.

Global Manufacturing Technology Pty Ltd

Neurosurgical

GM041	X Stop Interspinous Process Distraction System	X Stop Interspinous Process Distraction System	Size - 6mm to16mm	Deleted.

Global Scientific Pty Ltd

Orthopaedic

GS219	Polar Hip System	Polar Hip System	49-71mm	Transferred to SN887.

Heraeus Kulzer Australia Pty Ltd

Orthopaedic

HK001	Palacos or Palamed Bone Cement with Gentamicin	Palacos or Palamed Bone Cement with Gentamicin	40 grams	Expanded into HK006, HK007.

Inamed Australia Pty Ltd

General/Miscellaneous

IN001	Lap-Band Adjustable Gastric Banding (LAGB) System	Lap-Band Adjustable Gastric Banding (LAGB) System	9.75, 10 and 11cm	Transferred to AW001.

IN002	Lap-Band Access Port	Lap-Band Access Port	Standard, low profile	Transferred to AW002.

IN003	Rapid Port Tack	Rapid Port Tack	Outside diameter for the tack 30.5mm diameter by 	Transferred to AW003.

5.6mm Height.  The wires extend 3mm below the

bottom surface.

Johnson & Johnson Medical Pty Ltd

Neurosurgical

DP251	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	1-3 Level	Deleted.

DP252	Acroflex Lumbar Artificial Disc	Acroflex Lumbar Artificial Disc	One size only	Deleted.

DP496	Isola Paediatric System (Stainless Steel)	Isola Paediatric System (Stainless Steel)	3/16"	Deleted.

DP564	Peak Polyaxial Anterior Cervical Plate System	Peak Polyaxial Anterior Cervical Plate System	1 - 4 Segment	Deleted.

DP567	Peak Polyaxial Anterior Cervical Plate System	Peak Polyaxial Anterior Cervical Plate System	4mm x 9 -15mm	Deleted.

DP569	Peak Polyaxial  Anterior Cervical Plate System	Peak Polyaxial  Anterior Cervical Plate System	4mm  x 10 -16mm	Deleted.

DP849	Moss Miami 4mm Anterior System (SS)	Moss Miami 4mm Anterior System (SS)	One size only	Deleted.

DY039	TiMX Low Back System	TiMX Low Back System	5.5 - 7.75mm x 30 - 50mm	Deleted.

DY041	TiMX Low Back System	TiMX Low Back System	One size only	Deleted.

Deleted Items for Prostheses List Report	Page 8 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

DY042	TiMX Low Back System	TiMX Low Back System	One/One & 1/2/Shortened/Double Half/Triple Half Slot	Deleted.

DY044	TiMX Low Back System	TiMX Low Back System	Two/Two & 1/2/Three Slot	Deleted.

DY050	TiMX Low Back System	TiMX Low Back System	1/4"          	Deleted.

DY054	TiMX Low Back System	TiMX Low Back System	One size only	Deleted.

DY057	TiMX Low Back System	TiMX Low Back System	3mm & 4.5mm	Deleted.

DY059	TiMX Low Back System	TiMX Low Back System	One size only	Deleted.

DY066	Codman Anterior Cervical Plate System	Codman Anterior Cervical Plate System	24 - 48mm	Deleted.

DY069	Codman Anterior Cervical Plate System	Codman Anterior Cervical Plate System	50 - 70mm	Deleted.

DY070	Codman Anterior Cervical Plate System	Codman Anterior Cervical Plate System	74 - 110mm	Deleted.

DY102	Isola System (Stainless Steel)	Isola System (Stainless Steel)	1/4" & 3/16"	Deleted.

DY198	Carbon Fibre Cages	Carbon Fibre Cages	5 - 10 deg Sm to Lg 10 - 18 mm	Deleted.

DY316	Isola System (Stainless Steel)	Isola System (Stainless Steel)	1/4" & 3/16"	Deleted.

DY321	Codman Anterior Cervical Plate System	Codman Anterior Cervical Plate System	12 & 15mm	Deleted.

DY346	RECO Spinal System	RECO Spinal System	4-7mm	Deleted.

DY347	RECO Spinal System	RECO Spinal System	4-7mm	Deleted.

DY348	RECO Spinal System	RECO Spinal System	4 or 6mm dia x 70-130mm	Deleted.

DY349	RECO Spinal System	RECO Spinal System	4 or 6mm dia x 480mm Length	Deleted.

DY350	RECO Spinal System	RECO Spinal System	One size only	Deleted.

DY351	RECO Spinal System	RECO Spinal System	4 or 6mm	Deleted.

DY437	Expedium Spine System	Expedium Spine System	one size	Deleted.

DY507	Isola Paediatric System (Stainless Steel)	Isola Paediatric System (Stainless Steel)	3/16" x 3.5mm - 11mm	Deleted.

Orthopaedic

DP008	LCS Complete System	LCS Complete System	small - xlarge, sizes 10 - 20mm or Size 1-7	Expanded into JJ658, JJ659.

DP130	PFC Knee System Range	PFC Knee System Range	Size 1-6	Expanded into JJ662, JJ663.

DP145	PFC Knee System Range	PFC Knee System Range	Size 1-6	Expanded into JJ664, JJ665.

DP151	PFC Knee System Range	PFC Knee System Range	Size 1-6	Deleted.

DP154	PFC Knee System Range	PFC Knee System Range	Size 2-5	Deleted.

DP163	PFC Knee System Range	PFC Knee System Range	Size 1-6	Deleted.

DP237	LCS Total Knee System	LCS Total Knee System	Sm+ to Lge++	Deleted.

DP240	LCS Total Knee system	LCS Total Knee system	Std to Lge ++	Deleted.

DP260	SROM Knee System	SROM Knee System	4-10mm size 2-6	Deleted.

DP262	SROM Knee System	SROM Knee System	One size only	Deleted.

DP266	SROM Knee System	SROM Knee System	11 x 100mm to 129 x 100mm	Deleted.

DP273	SROM Knee System	SROM Knee System	Size 2-5	Deleted.

DP285	AMK All Poly Tibia	AMK All Poly Tibia	Size  1/2 to 5	Deleted.

Deleted Items for Prostheses List Report	Page 9 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

DP287	AMK Coordinate Revision Knee System	AMK Coordinate Revision Knee System	Size 1-5	Deleted.

DP290	AMK Coordinate Revision Knee System	AMK Coordinate Revision Knee System	Size 1-6 or 8-27mm Thickness x 95-140mm Length	Deleted.

DP294	AMK Coordinate Revision Knee System	AMK Coordinate Revision Knee System	Size 1-5	Deleted.

DP351	LCS UNI Knee system	LCS UNI Knee system	Size 1-6	Deleted.

DP378	AMK Total Knee system	AMK Total Knee system	Size 1-5	Deleted.

DP380	AMK Total Knee system	AMK Total Knee system	Size 1-5	Deleted.

DP381	AMK Total Knee system	AMK Total Knee system	Size 1-5	Deleted.

DP388	AMK Total Knee system	AMK Total Knee system	Size 1-5	Expanded into JJ666, JJ667.

DP444	AMK Chrome CobaltTray	AMK Chrome CobaltTray	Size 1-5	Deleted.

DP509	Brantigan I/F Cage	Brantigan I/F Cage	Wedge 7-13mm x 9-15mm x 21-25 mm	Deleted.

DP518	LCS Universal Knee	LCS Universal Knee	Sm - Lge+	Deleted.

DP519	LCS Universal Knee	LCS Universal Knee	Std - Lge+	Deleted.

DP520	LCS Universal Knee	LCS Universal Knee	Sm - Lge+	Deleted.

DP521	LCS Universal Knee	LCS Universal Knee	Sm - Lge+	Deleted.

DP821	LCD Revision Knee System	LCD Revision Knee System	STD - LGE+	Deleted.

DP822	LCS Revision Knee system	LCS Revision Knee system	STD- LGE+	Deleted.

DP823	LCS Revision Knee system	LCS Revision Knee system	10 x 55mm to 22x110mm	Deleted.

DP824	LCS Revision Knee system	LCS Revision Knee system	SM-LGE+	Deleted.

DP825	LCS Revision Knee system	LCS Revision Knee system	SML+ to LGE++ 10m-25mm in each size	Deleted.

DP826	LCS Revision Knee system	LCS Revision Knee system	Size 1-7	Deleted.

DP889	AMK Chrome CobaltTray	AMK Chrome CobaltTray	Size 1-5	Deleted.

DP921	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	4.0mm x 12-16mm	Deleted.

DP922	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	12 - 16mm	Deleted.

DP923	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	3.5 - 4mm	Deleted.

DP924	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	3.5 - 4mm	Deleted.

DP927	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	30-110mm	Deleted.

DP928	DOC Ventral Stabilisation System	DOC Ventral Stabilisation System	3.5 - 4mm	Deleted.

DY074	Codman Anterior Cervical Plate System	Codman Anterior Cervical Plate System	10 - 26mm	Deleted.

DY096	DOC Ventral Stabilization System	DOC Ventral Stabilization System	One size only	Deleted.

DY113	Preservation Miu Knee System	Preservation Miu Knee System	Size 1-5	Deleted.

DY115	Preservation Miu Knee System	Preservation Miu Knee System	1, 9.5mm - 5, 13.5mm	Expanded into JJ660, JJ661.

DY158	LCS Complete Revision System	LCS Complete Revision System	Small 10mm - large + 30mm	Deleted.

DY369	LCS Complete System	LCS Complete System	Small to Large + thickness 10-25mm	Deleted.

DY370	LCS Complete System	LCS Complete System	1-6	Deleted.

DY375	LCS Complete System	LCS Complete System	Aml - Xlrge, sizes 10-20mm or Size 1-7	Deleted.

Deleted Items for Prostheses List Report	Page 10 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

DY376	LCS Complete System	LCS Complete System	Small - Large + from thickness 10-25mm	Deleted.

DY378	LCS Complete System	LCS Complete System	1-6	Deleted.

DY379	LCS Complete System	LCS Complete System	1-6	Deleted.

DY459	SROM Knee System	SROM Knee System	Size 2-5	Deleted.

DY461	SROM Knee System	SROM Knee System	XSml-Xlge	Deleted.

DY462	SROM Knee System	SROM Knee System	XSml-Xlge	Deleted.

DY463	SROM Knee System	SROM Knee System	XSml - Medium	Deleted.

DY466	LCS Knee system	LCS Knee system	Std to Lge ++	Deleted.

DY469	PFC Knee System Range	PFC Knee System Range	Size 1-6	Deleted.

DY472	PFC Knee System Range	PFC Knee System Range	Size 1-6	Deleted.

DY476	LCS Complete System	LCS Complete System	Small - large, size 10 - 30mm	Deleted.

DY484	LCS Patellofemoral Joint Prosthesis	LCS Patellofemoral Joint Prosthesis	Small - Large	Expanded into JJ668, JJ669.

DY495	LCS Complete System	LCS Complete System	1-6	Deleted.

DY508	LCD Revision Knee System	LCD Revision Knee System	STD - LGE+	Deleted.

DY509	LCS Revision Knee system	LCS Revision Knee system	Size 1-7	Deleted.

Link Orthopaedics  Australia

Orthopaedic

LO008	LINK Elbow Prosthesis	LINK Elbow Prosthesis	Small, medium & large	Deleted.

LMT Surgical Pty Ltd

Orthopaedic

LM020	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	6 - 14mm, Length: 115 - 215mm	Transferred to SY430.

LM021	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	6 - 14mm, Length: 115 - 135mm	Transferred to SY431.

LM022	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	40 - 54mm, Height: 15 - 20.25mm	Transferred to SY432.

LM023	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	One size only	Transferred to SY433.

LM024	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	40mm - 54mm	Transferred to SY434.

LM025	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	10; 15; 20mm	Transferred to SY435.

LM026	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	42 - 52mm	Transferred to SY436.

LM027	Epoca Custom Offset Shoulder Prosthesis	Epoca Custom Offset Shoulder Prosthesis	42 - 54mm	Transferred to SY437.

LM045	Epoca Resurfacing Head	Epoca Resurfacing Head	Diameter 40 - 54mm	Transferred to SY438.

Medacta Australia Pty Ltd

Orthopaedic

MU033	Evolis resurfacing patella	Evolis resurfacing patella	30/33/36/39mm diameter	Compressed into MU031.

MU037	Evolis UC-Flex tibial insert	Evolis UC-Flex tibial insert	1 - 6, 9/11/13/16/19mm thickness	Compressed into MU034.

Deleted Items for Prostheses List Report	Page 11 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

MU042	Cinétique All Poly Inset Patella	Cinétique All Poly Inset Patella	3 sizes: Size #1-2; #3-4; #5-6 (20/24/28mm diameter)	Compressed into MU041.

MU050	Cinétique Rotating Platform UC Insert	Cinétique Rotating Platform UC Insert	Sizes 1 to 6, 7/9/11/13/15mm thicknesses	Compressed into MU049.

Medical Device Alliance Pty Ltd

Plastic and Reconstructive

MP004	Testicular Implant Filled with Elastomer	Testicular Implant Filled with Elastomer	5.3-45.8cc	Deleted.

MP006	Testicular Implant	Testicular Implant	5-38cc	Deleted.

MP050	Silimed Tissue Expanders	Silimed Tissue Expanders	145-185ml	Deleted.

Medtronic Australasia Pty Ltd

Cardio-thoracic

MC006	InSync model 8040 Stimulator	InSync model 8040 Stimulator	14.4cc	Deleted.

MC030	Medtronic Kappa 400 Pacemaker Model KSR401	Medtronic Kappa 400 Pacemaker Model KSR401	11.6cc, 11.7cc	Deleted.

MC200	Medtronic A/Asia AT500 DDDRP Pacing System 	Medtronic A/Asia AT500 DDDRP Pacing System 	One size only, 14.9cc	Deleted.

Model AT501	Model AT501

MC241	Medtronic Kappa Pacemaker Model KDR 933	Medtronic Kappa Pacemaker Model KDR 933	13.9cc	Deleted.

MC242	Medtronic Kappa KSR 900 Model KSR 901,903, 906	Medtronic Kappa KSR 900 Model KSR 901,903, 906	9.7,10.5,11.0 cc	Deleted.

MC330	Medtronic Kappa 400 Pacemaker Model KSR 403	Medtronic Kappa 400 Pacemaker Model KSR 403	11.6cc, 11.7cc	Deleted.

MC340	Medtronic Kappa 400 pacemaker Model KDR403	Medtronic Kappa 400 pacemaker Model KDR403	13.9cc	Deleted.

General/Miscellaneous

MC058	Medtronic SynchroMed Catheter Model 8709 	Medtronic SynchroMed Catheter Model 8709 	89cm	Deleted.

MC068	Medtronic SynchroMed vascular catheter	Medtronic SynchroMed vascular catheter	62 to 89cm	Deleted.

MC070	Medtronic AlgoLIne Catheter System 	Medtronic AlgoLIne Catheter System 	85cm	Deleted.

MC283	Medtronic MiniMed Paradigm Insulin Infusion Pump 	Medtronic MiniMed Paradigm Insulin Infusion Pump 	One Size Only	Deleted.

System	System

MC300	Medtronic MiniMed Insulin Infusion Pump System	Medtronic MiniMed Insulin Infusion Pump System	One Size Only	Deleted.

MC302	Medtronic Minimed Insulin Infusion pump System	Medtronic Minimed Insulin Infusion pump System	One Size Only	Deleted.

MC303	Medtronic Minimed Insulin Infusion Pump System	Medtronic Minimed Insulin Infusion Pump System	One Size Only	Deleted.

Neurosurgical

MC110	Itrel 3 System - Lead extension	Itrel 3 System - Lead extension	10 - 66cm	Deleted.

MC115	Itrel 3 Implantable Pulse Generator	Itrel 3 Implantable Pulse Generator	One size only	Deleted.

MC298	DIAM	DIAM	6 - 16 mm	Deleted.

MC369	Pisces Z Quad Compact Lead Model 3891	Pisces Z Quad Compact Lead Model 3891	Lead length: 25-56cm; Electrode length: 3mm; 	Deleted.

Electrode spacing: 4mm

MC395	TSRH Spinal Implant System	TSRH Spinal Implant System	Two pronged 16 - 36mm	Deleted.

MC398	TSRH Spinal Implant System	TSRH Spinal Implant System	Sacral 20 - 50mm, rest 0.375 - 3.75 inches	Deleted.

MC400	TSRH Spinal Implant System	TSRH Spinal Implant System	Sacral 20 - 50mm, rest 0.375 - 3.75 inches	Deleted.

Deleted Items for Prostheses List Report	Page 12 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

MC401	TSRH Spinal Implant System	TSRH Spinal Implant System	Small, medium, large	Deleted.

MC405	TSRH Spinal Implant System	TSRH Spinal Implant System	One size only	Deleted.

MC410	CD Horizon	CD Horizon	One size only	Deleted.

MC411	CD Horizon	CD Horizon	5 - 7 mm	Deleted.

MC414	CD Horizon	CD Horizon	-	Deleted.

MC425	Dynalok	Dynalok	One size only	Deleted.

MC426	Dynalok	Dynalok	3cm - 16 cm	Deleted.

MC427	Dynalok	Dynalok	30 - 55mm	Deleted.

MC428	Dynalok	Dynalok	30 - 55mm	Deleted.

MC429	Dynalok	Dynalok	5.5 - 6.35mm	Deleted.

MC430	Dynalok	Dynalok	One size only	Deleted.

MC491	TSRH Titanium Spinal Implant System:	TSRH Titanium Spinal Implant System:	One size only	Deleted.

MC492	Apofix	Apofix	One size only	Deleted.

MC493	Apofix	Apofix	Upper/lower	Deleted.

MC494	Tenor	Tenor	30 - 55mm	Deleted.

MC495	Tenor	Tenor	30 - 55mm	Deleted.

MC498	Tenor	Tenor	One size only	Deleted.

MC499	Tenor	Tenor	One size only	Deleted.

MC500	Tenor	Tenor	One size only	Deleted.

MC538	Tenor	Tenor	One size only	Deleted.

MC598	Equation Spinal System	Equation Spinal System	Length 25-55mm	Deleted.

MC599	Equation Spinal System	Equation Spinal System	Length 50-300mm	Deleted.

MC600	Equation Spinal System	Equation Spinal System	Length 40-200mm	Deleted.

MC601	Equation Spinal System	Equation Spinal System	One Size Only	Deleted.

MC691	Restore Rechargeable Neurostimulation System	Restore Rechargeable Neurostimulation System	Dimensions: 65 x 49 x 15mm	Deleted.

MC716	Intrathecal Catheter	Intrathecal Catheter	Length 104.1cm	Deleted.

Orthopaedic

MC682	Infuse Bone Graft	Infuse Bone Graft	Small 4.2mg	Expanded into MC806, MC807, MC808.

Plastic and Reconstructive

MC549	Macropore	Macropore	65 - 165mm	Compressed into MC548.

MC552	Macropore	Macropore	8 hole	Compressed into MC550.

Vascular

MC159	Talent Thoracic Extension Stent Graft	Talent Thoracic Extension Stent Graft	26 - 46mm x 80 - 90mm	Deleted.

MC758	Valiant Endovascular Stent Graft	Valiant Endovascular Stent Graft	24-46mm diameter, up to 227mm length	Expanded into MC809, MC810.

Deleted Items for Prostheses List Report	Page 13 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Nutricia Australia

General/Miscellaneous

NF002	Flocare Percutaneous Endoscopic gastrostomy (PEG) 	Flocare Percutaneous Endoscopic gastrostomy (PEG) 	various sizes - charriere 10, 14 and 18	Deleted.

Orthopaedic Solutions Pty Ltd

Orthopaedic

OE001	BIOProfile Modular Pyrocarbon Radial/Ulna Head	BIOProfile Modular Pyrocarbon Radial/Ulna Head	Small, Medium, Large & X-Large	Expanded into OE011, OE012.

OE004	Futura Domed Subtalar Implant	Futura Domed Subtalar Implant	Extra small, small, medium, large, extra large	Deleted.

Orthotech Pty Ltd

Neurosurgical

OH130	Non-Fusion Spine Stabilising Device	Non-Fusion Spine Stabilising Device	Height 8 - 16mm	Deleted.

OH174	Omega 21 Spine Fixation System	Omega 21 Spine Fixation System	25mm - 65mm	Deleted.

OH175	Omega 21 Spine Fixation System	Omega 21 Spine Fixation System	105-155mm	Deleted.

OH178	Omega 21 Spine Fixation System	Omega 21 Spine Fixation System	25mm - 65mm	Deleted.

OH179	Omega 21 Spine Fixation System	Omega 21 Spine Fixation System	165-255mm	Deleted.

OH180	Omega 21 Spine Fixation System	Omega 21 Spine Fixation System	35-95mm	Deleted.

OH182	Spinelink Spinal Fixation System	Spinelink Spinal Fixation System	Standard or Extended	Deleted.

OH183	Spinelink Spinal Fixation System	Spinelink Spinal Fixation System	21mm - 78mm	Deleted.

OH184	Spinelink Spinal Fixation System	Spinelink Spinal Fixation System	One size only	Deleted.

OH185	Spinelink Spinal Fixation System	Spinelink Spinal Fixation System	One size only	Deleted.

OH186	OMEGA 21 Spine Fixation System	OMEGA 21 Spine Fixation System	One size only	Deleted.

OH189	OMEGA 21 Spine Fixation System	OMEGA 21 Spine Fixation System	One size only	Deleted.

OH190	Omega 21 Spine Fixation System	Omega 21 Spine Fixation System	25mm - 65mm	Deleted.

OH192	Spinelink Spinal Fixation System	Spinelink Spinal Fixation System	40-59mm, 59-90mm	Deleted.

Orthopaedic

OH021	Optetrak Total Knee System	Optetrak Total Knee System	Size 1 -  6	Expanded into OH329, OH330.

OH022	Optetrak Total Knee System	Optetrak Total Knee System	Size 1 -  6	Expanded into OH331, OH332, OH333.

OH101	Lima Total Hip Replacement System	Lima Total Hip Replacement System	1 - 5	Deleted.

OH275	ABC Prosthetic Ligament	ABC Prosthetic Ligament	12.5cm - 18.5cm; ABC Carbon Polyester & ABC 	Transferred to LM085.

Polyester/Polyester - one size only

OH276	Surgicraft	Surgicraft	One size only	Transferred to LM086.

Deleted Items for Prostheses List Report	Page 14 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Pacing Importers Pty Ltd - Life Systems

Ear, Nose & Throat

PI008	PULSAR CI 100	PULSAR CI 100	Standard deep insertion electrode 31.5mm-2.4	Expanded into PI012, PI013, PI014, PI015,

PI016, PI017.

Plus Orthopedics Australia Pty Ltd

Orthopaedic

PL004	Toefit - Plus	Toefit - Plus	Metatarsal Component XS-L	Transferred to SM008.

PL005	Toefit - Plus	Toefit - Plus	Phalangeal Component XS-L	Transferred to SM009.

PL006	PLUS Endoprothetik Cerclage Systems	PLUS Endoprothetik Cerclage Systems	Length 27cm	Transferred to SM010.

PL007	PLUS Endoprothetik Cerclage Systems	PLUS Endoprothetik Cerclage Systems	Length 27cm	Transferred to SM011.

PL008	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	01-12	Transferred to SM012.

PL009	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	01 to 12	Transferred to SM013.

PL010	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 12	Transferred to SM014.

PL011	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	3 to 11	Transferred to SM015.

PL012	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 12	Transferred to SM016.

PL013	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 12	Transferred to SM017.

PL014	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 5	Transferred to SM018.

PL015	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 5	Transferred to SM019.

PL016	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 9	Transferred to SM020.

PL018	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	3 to 9	Transferred to SM021.

PL019	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 9	Transferred to SM022.

PL020	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 9	Transferred to SM023.

PL021	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	40 - 68mm Dia	Transferred to SM024.

PL022	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	40 - 68mm Dia	Transferred to SM025.

PL023	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	40 - 68mm Dia	Transferred to SM026.

PL024	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	48 - 68mm Dia	Transferred to SM027.

PL025	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	48 - 68mm Dia	Transferred to SM028.

PL026	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	42 - 68mm Dia	Transferred to SM029.

PL027	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2 to 12	Deleted.

PL028	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2 to 12	Deleted.

PL029	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2 to 12	Deleted.

PL030	PLUS Knee Joint System	PLUS Knee Joint System	2 to 12	Transferred to SM030.

PL031	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2-12 : 9-19mm	Transferred to SM031.

PL032	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	26mm, 29mm, 32mm, 35mm	Deleted.

Deleted Items for Prostheses List Report	Page 15 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

PL033	PLUS Endoprothetik Cerclage System	PLUS Endoprothetik Cerclage System	XS - L	Transferred to SM033.

PL034	Femoral Head Metal	Femoral Head Metal	=< 32mm	Transferred to SM034.

PL035	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	S,M,L - 28mm/32mm	Transferred to SM035.

PL036	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	S-XXL - 28mm/32mm	Transferred to SM036.

PL037	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	38-60 S/M	Transferred to SM037.

PL038	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	39mm-60mm	Transferred to SM038.

PL039	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	48mm X + 5mm - 70mm X +12mm	Transferred to SM039.

PL040	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	1 to 5	Transferred to SM040.

PL041	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	15-60mm long 6.4mm dia	Transferred to SM041.

PL042	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	1 - 9, 28mm, 32mm	Transferred to SM042.

PL043	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	48 -70mm	Transferred to SM043.

PL044	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	42 -64mm dia	Transferred to SM044.

PL045	Toefit - Plus	Toefit - Plus	Distal Insert 13 - 17mm	Transferred to SM045.

PL046	Toefit - Plus	Toefit - Plus	Polyethylene Distal Insert 11 - 15mm	Transferred to SM046.

PL047	Toefit - Plus	Toefit - Plus	Proximal Insert 6, 7, 8	Transferred to SM047.

PL048	PLUS SB Total Knee Replacement - Uncemented 	PLUS SB Total Knee Replacement - Uncemented 	2, 4, 6, 8, 10, 12	Deleted.

Tibial Component	Tibial Component

PL049	UC-PLUS Tibial Component All	UC-PLUS Tibial Component All	40 (8mm, 10mm, 12mm, 14mm), 44 (8mm, 10mm, 	Transferred to SM048.

12,, 14mm), 48 (8mm, 10mm, 12mm, 14mm), 52

(8mm, 10mm, 12mm, 14mm), 56 (8mm, 10mm,

12mm, 14mm)

PL050	UC-PLUS Solution Knee System	UC-PLUS Solution Knee System	Femoral - 4, 6, 8, 10.	Transferred to SM049.

PL051	Bicon - PLUS	Bicon - PLUS	01, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	Transferred to SM050.

PL052	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	3-5, 6-11	Transferred to SM051.

PL053	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM052.

PL054	Plus Hip Joint Prosthesis System	Plus Hip Joint Prosthesis System	=<32mm	Transferred to SM053.

PL055	Plus Hip Joint Prosthesis System	Plus Hip Joint Prosthesis System	>32mm	Transferred to SM054.

PL057	Femoral Head	Femoral Head	=< 32mm	Transferred to SM055.

PL059	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	3-11	Transferred to SM056.

PL060	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	<32mm	Transferred to SM057.

PL061	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	>32mm	Transferred to SM058.

PL062	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	=<32mm	Transferred to SM059.

PL063	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	>32mm	Transferred to SM060.

PL064	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	=<32mm	Transferred to SM061.

PL065	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	=<32mm	Transferred to SM062.

PL066	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2-12 : 9-19mm	Deleted.

Deleted Items for Prostheses List Report	Page 16 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

PL067	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM063.

PL068	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM064.

PL069	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM065.

PL070	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM066.

PL071	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM067.

PL072	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM068.

PL075	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM069.

PL076	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM070.

PL077	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	2-12	Transferred to SM071.

PL078	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	2-12	Transferred to SM072.

PL079	Plus Hip Joint Prostheses System	Plus Hip Joint Prostheses System	42-68	Transferred to SM073.

PL080	Plus Hip Joint Prostheses System	Plus Hip Joint Prostheses System	>32mm	Transferred to SM074.

PL081	Plus Hip Joint Prostheses System	Plus Hip Joint Prostheses System	>32mm	Transferred to SM075.

PL082	Plus Knee Joint Prostheses System	Plus Knee Joint Prostheses System	1-6	Transferred to SM076.

PL083	PLUS Knee Prostheses System	PLUS Knee Prostheses System	95 -120	Transferred to SM077.

PL084	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	5mm, 10mm, 15mm	Transferred to SM078.

PL085	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	80-150	Transferred to SM079.

PL086	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	10/80 - 20/150	Transferred to SM080.

PL087	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	10/80 - 20/150	Transferred to SM081.

PL088	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	1-5	Deleted.

1-5

PL089	PLUS Knee Prostheses System	PLUS Knee Prostheses System	0-10	Transferred to SM082.

PL090	PLUS Hip Joint Prostheses System	PLUS Hip Joint Prostheses System	>32mm	Transferred to SM083.

PL091	PLUS Knee Prostheses System	PLUS Knee Prostheses System	95-160	Transferred to SM084.

PL092	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2 - 10	Transferred to SM085.

PL093	PLUS Knee Prostheses System	PLUS Knee Prostheses System	95 - 160	Transferred to SM086.

PL094	PLUS Knee Prostheses System	PLUS Knee Prostheses System	200	Transferred to SM087.

PL095	PLUS Knee Prostheses System	PLUS Knee Prostheses System	5-15mm	Transferred to SM088.

PL096	PLUS Knee Prostheses System	PLUS Knee Prostheses System	5-15mm	Transferred to SM089.

PL097	PLUS Knee Prostheses System	PLUS Knee Prostheses System	0-10	Transferred to SM090.

PL098	PLUS Knee Prostheses System	PLUS Knee Prostheses System	0-10	Transferred to SM091.

PL099	PLUS Knee Prostheses System	PLUS Knee Prostheses System	0-10	Transferred to SM092.

PL100	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM093.

PL101	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2 to 12	Deleted.

PL102	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM094.

Deleted Items for Prostheses List Report	Page 17 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

PL104	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM095.

PL105	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	22-60	Transferred to SM096.

PL106	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	46 - 68mm	Transferred to SM097.

PL107	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	5mm, 10mm, 15mm	Transferred to SM098.

PL108	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	<32mm	Transferred to SM099.

PL109	PLUS Knee Joint Prostheses System	PLUS Knee Joint Prostheses System	2 - 10	Transferred to SM100.

PL110	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	<=32mm	Transferred to SM101.

PL111	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM102.

PL112	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	<=32mm	Transferred to SM103.

PL113	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM104.

PL114	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	46-64	Transferred to SM105.

PL115	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	05 - 7	Transferred to SM106.

PL116	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	>32mm	Transferred to SM107.

PL117	PLUS Hip Joint Prosthesis System	PLUS Hip Joint Prosthesis System	46 to 72	Transferred to SM108.

PL118	Plus Hip Joint Prosthesis System	Plus Hip Joint Prosthesis System	.	Transferred to SM109.

PL119	Promos Shoulder Replacement	Promos Shoulder Replacement	01, 0, 1, 2, 3, 4	Transferred to SM110.

PL120	Promos Shoulder Replacement	Promos Shoulder Replacement	30 - 35 - 40mm	Transferred to SM111.

PL121	Promos Shoulder Replacement	Promos Shoulder Replacement	20 - 22 - 24 - 26mm	Transferred to SM112.

PL122	Promos Shoulder Replacement	Promos Shoulder Replacement	R19/H14-R26/H21	Transferred to SM113.

PL123	Promos Shoulder Replacement	Promos Shoulder Replacement	1-23: - 4-29	Transferred to SM114.

PL124	Proxy Plus Cementless Hip	Proxy Plus Cementless Hip	5-20 various offsets	Transferred to SM115.

PL126	Reko Reconstruction Cage	Reko Reconstruction Cage	44-52 Lt & Rt	Transferred to SM116.

PL127	Reko Reconstruction Cage	Reko Reconstruction Cage	5mm, 10mm, 15mm	Transferred to SM117.

PL128	Reko Reconstruction Cage	Reko Reconstruction Cage	1 size	Transferred to SM118.

PL129	Reko Reconstruction Cage	Reko Reconstruction Cage	6.5 x 20, 6.5 x 55	Transferred to SM119.

PL130	UC-PLUS Solution Knee System	UC-PLUS Solution Knee System	Tibial - 40 - 56 x (8, 10, 12, 14mm)	Transferred to SM120.

PL131	UC-PLUS Solution Knee System	UC-PLUS Solution Knee System	40 (8mm, 10mm, 12mm, 14mm), 44 (8mm, 10mm, 	Transferred to SM121.

12,, 14mm), 48 (8mm, 10mm, 12mm, 14mm), 52

(8mm, 10mm, 12mm, 14mm), 56 (8mm, 10mm,

12mm, 14mm)

PL133	POLARSTEM FEMORAL STEM SYSTEM	POLARSTEM FEMORAL STEM SYSTEM	0-8	Transferred to SM122.

PL134	POLARSTEM FEMORAL STEM SYSTEM	POLARSTEM FEMORAL STEM SYSTEM	0-8	Transferred to SM123.

PL136	POLARSTEM FEMORAL STEM SYSTEM	POLARSTEM FEMORAL STEM SYSTEM	28MM	Transferred to SM124.

PL137	POLARSTEM FEMORAL STEM SYSTEM	POLARSTEM FEMORAL STEM SYSTEM	0-8	Transferred to SM125.

PL138	PLUS HIP JOINT PROSTHESES SYSTEM	PLUS HIP JOINT PROSTHESES SYSTEM	01-12	Transferred to SM126.

PL139	PLUS HIP JOINT PROSTHESES SYSTEM	PLUS HIP JOINT PROSTHESES SYSTEM	01-12	Transferred to SM127.

Deleted Items for Prostheses List Report	Page 18 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

PL140	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-67MM	Transferred to SM128.

PL141	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-67MM	Transferred to SM129.

PL142	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-67MM	Transferred to SM130.

PL143	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-67MM	Transferred to SM131.

PL145	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-67MM	Transferred to SM132.

PL146	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	43-63MM	Transferred to SM133.

PL147	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	22.2-28MM BY 43-67MM	Transferred to SM134.

PL148	POLAR CUP ACETABULAR CUP SYSTEM	POLAR CUP ACETABULAR CUP SYSTEM	22.2-28MM BY 43-67MM	Transferred to SM135.

PL149	Polar Cup Acetabular Cup System	Polar Cup Acetabular Cup System	15mm	Transferred to SM136.

PL150	Polar Cup Acetabular Cup System	Polar Cup Acetabular Cup System	4.5mm by 40-60mm	Transferred to SM137.

PL151	Polar Cup Acetabular Cup System	Polar Cup Acetabular Cup System	43 - 78	Transferred to SM138.

PL152	Plus Knee Prostheses System	Plus Knee Prostheses System	15mm	Transferred to SM139.

PL153	Plus Knee Prostheses System	Plus Knee Prostheses System	10/80mm - 12/150mm	Transferred to SM140.

PL154	Plus Knee Prostheses System	Plus Knee Prostheses System	2-10mm	Transferred to SM141.

PL155	Plus Knee Prostheses System	Plus Knee Prostheses System	8-26mm - 12/35mm	Transferred to SM142.

PL156	Plus Hip Joint System	Plus Hip Joint System	44mm-72mm *28mm - 44mm	Transferred to SM143.

PL157	Plus Hip Joint System	Plus Hip Joint System	<32 - S, M, L, XL	Transferred to SM144.

Portland Orthopaedics (Aust) Pty Ltd

Orthopaedic

PD002	Margron DTC Hip Replacement	Margron DTC Hip Replacement	YY6, YY7, ZZ6, ZZ7, Dia 17mm-29mm	Deleted.

PD004	Margron DTC Hip Replacement	Margron DTC Hip Replacement	Product Size Range: Y+0-Y+2, Z+0-Z+2, 1+0-1+2, 	Deleted.

2+0-2+2, 3+0-3+2, 4+0-4+2, 5+0-5+2, 6+0-6+2, 7+0-

7+2 Length: 92.5-150mm, Diameter:

Y:8.0mmx17.0mm, Z:9.0mmx19.0mm,

1:10.0mmx21.0mm, 2:11.5mmx23.0mm,

3:13.0mmx25.0mm, 4:13.5mmx27.0mm,

5:14.0mmx29.0mm, 6:14.0mmx31.0mm,

7:14.0mmx33.0mm

PD009	Margron DTC Hip Replacement	Margron DTC Hip Replacement	Y+1, Y+2, Y+3, Y+4, Y+5, Z+1, Z+2, Z+3, Z+4, Z+5	Deleted.

Diameter 17mm - 19mm in 2mm increments

PD011	Margron DTC Hip Replacement	Margron DTC Hip Replacement	1+1, 1+2, 1+3, 1+4, 1+5, 2+1, 2+2, 2+3, 2+4, 2+5, 	Deleted.

3+1, 3+2, 3+3, 3+4, 3+5, 4+1, 4+2, 4+3, 4+4, 4+5,

5+1, 5+2, 5+3, 5+4, 5+5, 5+6, 6+1, 6+2, 6+3, 6+4,

6+5, 6+6 Diameter 21mm-33mm in 2mm increments

PD012	Margron DTC Hip Replacement	Margron DTC Hip Replacement	AZ, A, B, C, BA, CA, CB, B+4, C+6, CB+6 Offset-	Compressed into PD005.

35mm-52mm Vert Height 25mm-35mm

PD013	Margron DTC Hip Replacement	Margron DTC Hip Replacement	AA6, AA7, AZ6, AZ7, BA6, BA7, BB6, BB7, CA7, 	Deleted.

CB7, CC7, Dia 21mm - 29mm

Deleted Items for Prostheses List Report	Page 19 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Precise Medical Supplies

Ear, Nose & Throat

PR001	Medasil Teflon Aural Grommets	Medasil Teflon Aural Grommets	Shepard with wire	Deleted.

PR002	Medasil Teflon Aural Grommets	Medasil Teflon Aural Grommets	Shepard without wire	Deleted.

PR003	Medasil Teflon Aural Grommets	Medasil Teflon Aural Grommets	Shah with wire	Deleted.

PR004	Medasil Teflon Aural Grommets	Medasil Teflon Aural Grommets	Shah without wire	Deleted.

PR005	Medasil Teflon Aural Grommets	Medasil Teflon Aural Grommets	Collar button	Deleted.

PR006	Medasil Teflon Aural Grommets	Medasil Teflon Aural Grommets	Reuter bobbin	Deleted.

Progressive Medical

Cardio-thoracic

PG001	Alto II VR Single Chamber ICD	Alto II VR Single Chamber ICD	.	Deleted.

PG002	Talent II DR Pacemaker Model 233	Talent II DR Pacemaker Model 233	57.5 x 37.2 x 8mm	Deleted.

PG003	Swift 4040 1CT lead	Swift 4040 1CT lead	length 58 cm - 69 cm	Deleted.

PG004	Alto II DR Dual Chamber Implantable Cardioverter 	Alto II DR Dual Chamber Implantable Cardioverter 	One size only	Deleted.

Defibrillator	Defibrillator

PG005	Symphony DR 2550	Symphony DR 2550	1 size only	Transferred to SA136.

PG006	Symphony SR	Symphony SR	one size only	Transferred to SA137.

PG007	OVATIO CRT-D 6750	OVATIO CRT-D 6750	30cc	Transferred to SA138.

PG008	OVATIO VR 6250	OVATIO VR 6250	29cc	Transferred to SA139.

PG009	OVATIO DR 6550	OVATIO DR 6550	29cc	Transferred to SA140.

Roche Diagnostics Australia Pty Ltd

General/Miscellaneous

RO004	"Disetronic Infusion Sets"	"Disetronic Infusion Sets"	Pack 10/10	Deleted.

RO010	"Disetronic Infusion Sets"	"Disetronic Infusion Sets"	Pack 10/10	Deleted.

RO011	"Disetronic Infusion Sets"	"Disetronic Infusion Sets"	Pack 10/10	Deleted.

RO017	Disetronic Tender Infusion Set	Disetronic Tender Infusion Set	13/30mm	Deleted.

RO018	Disetronic Tender Infusion Set	Disetronic Tender Infusion Set	13/60mm	Deleted.

RO019	Disetronic Tender Infusion Set	Disetronic Tender Infusion Set	13/80mm	Deleted.

Smith & Nephew Surgical Pty Ltd

Orthopaedic

SN309	Genesis II / Profix	Genesis II / Profix	Size 1 - 8	Expanded into SN857, SN858.

SN311	Genesis II/Profix	Genesis II/Profix	Left/Right, Size 1-8	Expanded into SN859, SN860.

SN312	Genesis II/Profix	Genesis II/Profix	Left & Right, Size 1-8	Expanded into SN861, SN862.

Deleted Items for Prostheses List Report	Page 20 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

SN313	Genesis II/Profix	Genesis II/Profix	Left/Right, Size 1-8, 10-30mm	Expanded into SN863, SN864.

SN315	Genesis II/Profix	Genesis II/Profix	Left & Right, Size 1-8	Expanded into SN865, SN866.

SN317	Genesis II / Profix	Genesis II / Profix	Size 1 - 8	Expanded into SN867, SN868.

SN322	Genesis II/Profix	Genesis II/Profix	Left/Right, Size 1-8	Expanded into SN869, SN870.

SN327	Genesis II/Profix	Genesis II/Profix	Left/Right, Size 1-8	Expanded into SN871, SN872.

SN328	Genesis II/Profix	Genesis II/Profix	Left/Right, Size 1-8	Expanded into SN873, SN874.

SN331	Genesis II / Profix	Genesis II / Profix	Size1-8	Expanded into SN875, SN876.

SN332	Genesis II/Profix	Genesis II/Profix	1-8	Expanded into SN877, SN878.

SN333	Genesis II/Profix	Genesis II/Profix	1-9	Expanded into SN879, SN880.

SN372	Genesis II/Profix	Genesis II/Profix	Left/Right, Size 1-8	Expanded into SN881, SN882.

SN704	Genesis II / Profix	Genesis II / Profix	Size 1 - 8	Expanded into SN883, SN884.

SN717	Genesis II/Profix	Genesis II/Profix	2 - 4mm	Expanded into SN885, SN886.

Stryker Australia Pty Ltd

Neurosurgical

SK252	Spiral Radius 90D	Spiral Radius 90D	One Size Only	Deleted.

SK253	Spiral Radius 90D	Spiral Radius 90D	Variable Cross Connector - Long, Medium Short; Fixed	Deleted.

Cross Connector - 10-30mm

SK254	Spiral Radius 90D	Spiral Radius 90D	Oblique - Left & Right; Lamina - Large, Extended 	Deleted.

Medium, Medium, Wide Medium, Extended Small,

Small, Wide Small; Pedicle - Large & Small; Offset -

Left & Right 5-10mm

SK309	Spiral Radius 90D	Spiral Radius 90D	Diameter 6.75mm Length 30-50mm	Deleted.

SK311	Spiral Radius 90D	Spiral Radius 90D	Diameter 5.5mm Length 40-120mm; Diameter 	Deleted.

5.5mm Length 50-600mm; Diameter 5.5mm Length

200-400mm

SK312	Spiral Radius 90D	Spiral Radius 90D	Diameter 4.75mm Length 25-50mm, Diameter 	Deleted.

5.75mm Length 25-55mm, Diameter 6.75mm Length

25-60mm, Diameter 7.75mm Length 25-60mm,

Diameter 8.75mm Length 30-55mm

SK313	Spiral Radius 90D	Spiral Radius 90D	Diameter 4.75mm Length 25-50mm, Diameter 	Deleted.

5.75mm Length 25-55mm, Diameter 6.75mm Length

25-60mm, Diameter 7.75mm Length 25-60mm

ST002	Diapason Millenium - Long Arm Sacral Screw	Diapason Millenium - Long Arm Sacral Screw	40-60mm length	Deleted.

ST042	Diapason Millenium - Thoracic Screw, 5mm, 5.5mm, 	Diapason Millenium - Thoracic Screw, 5mm, 5.5mm, 	5,5.5, 6.7 & 7.7mm diameter. 30-60mm length	Deleted.

6.7mm & 7.7mm	6.7mm & 7.7mm

ST048	Diapason Millenium - Sacral Screw, 8mm or 9mm	Diapason Millenium - Sacral Screw, 8mm or 9mm	8mm length	Deleted.

ST057	Diapason Millenium - Long Arm Lumbar Screw	Diapason Millenium - Long Arm Lumbar Screw	6.7mm diameter; 30-60mm length	Deleted.

ST693	Dimso/Stryker Implants Diapason	Dimso/Stryker Implants Diapason	One size only	Deleted.

Deleted Items for Prostheses List Report	Page 21 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Orthopaedic

HW082	Duracon Total Knee System	Duracon Total Knee System	5mm, 10mm	Deleted.

HW093	Duracon Total Knee System	Duracon Total Knee System	Small, Medium, Large, Extra-Large	Deleted.

HW094	Duracon Total Knee System	Duracon Total Knee System	Small, Medium, Large, Extra-Large	Deleted.

HW146	Kinemax Knee	Kinemax Knee	XS, S, M, L, XL, XXL	Deleted.

HW170	Kinemax Knee	Kinemax Knee	5mm, and 10mm per size	Deleted.

HW235	Howmedica Modular Resection System	Howmedica Modular Resection System	One size only	Deleted.

HW237	Howmedica Modular Resection System	Howmedica Modular Resection System	6, 10, 14mm	Deleted.

HW238	Howmedica Modular Resection System	Howmedica Modular Resection System	10, 12, 13, 14, 15, 16, 17, 19mm	Deleted.

HW239	Howmedica Modular Resection System	Howmedica Modular Resection System	One size only	Deleted.

HW243	Howmedica Modular Resection System	Howmedica Modular Resection System	One size only	Deleted.

HW253	Howmedica Modular Resection System	Howmedica Modular Resection System	One size only	Deleted.

SK163	Howmedica Modular Resection System	Howmedica Modular Resection System	Standard, +10mm, +20mm, 30mm	Deleted.

SK411	Scorpio X3 Polyethylene	Scorpio X3 Polyethylene	5 - 11 mm	Compressed into SK415.

SK412	Scorpio X3 Polyethylene	Scorpio X3 Polyethylene	5 - 11 mm	Compressed into SK415.

SK413	Scorpio X3 Polyethylene	Scorpio X3 Polyethylene	3 - 11 mm	Compressed into SK415.

SK414	Scorpio X3 Polyethylene	Scorpio X3 Polyethylene	26mm, 28mm, 30mm, 32mm X 10mm	Compressed into SK415.

SK418	Triathlon X 3 Polyethylene	Triathlon X 3 Polyethylene	27mm X 8mm, 29mm X 8mm, 31mm X 9mm, 	Compressed into SK419.

33mm X 9mm, 36mm X 10mm, 39mm X 11mm

SK436	Triathlon Revision System	Triathlon Revision System	Tibial Insert Sizes: Left & right 9-31mm sizes 1-8	Deleted.

Reinforced Post Sizes 9-31mm

SK437	Triathlon Revision System	Triathlon Revision System	Tibial Insert Sizes: Left & right 9-31mm sizes 1-8	Deleted.

Reinforced Post Sizes 9-31mm

SR005	Scorpio Cemented Femur	Scorpio Cemented Femur	3, 5, 7, 9, 11, 13	Deleted.

SR011	Triathlon Knee System	Triathlon Knee System	Sizes 1 to 8	Deleted.

SR064	Duracon stemmed revision baseplate	Duracon stemmed revision baseplate	Non Porus - S1, S2, M1, M2, L1, L2, XL1, XL2 60mm 	Expanded into SR080, SR081.

A/P. Porous - SIZE ZS1, ZS2, S1, S2, M1, M2, L1, L2,

XL1, XL2

ST023	Scorpio Cemented Femur	Scorpio Cemented Femur	3, 5, 7, 9, 11, 13	Deleted.

ST026	Scorpio Offset Adaptor	Scorpio Offset Adaptor	2mm-8mm	Deleted.

ST044	Scorpio Augmentation Locking Screw	Scorpio Augmentation Locking Screw	5-15mm	Deleted.

ST061	Scorpio Femoral Component	Scorpio Femoral Component	3,5,7,9,11,13	Deleted.

ST645	Osteonics Knee System	Osteonics Knee System	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 21,24mm	Compressed into ST646.

Synthes Australia Pty Ltd

Neurosurgical

SY275	Trafios IBF Cage	Trafios IBF Cage	Height  7-17mm	Deleted.

Deleted Items for Prostheses List Report	Page 22 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Orthopaedic

SY094	AO/ASIF Plates	AO/ASIF Plates	2.0mm & 2.7mm	Deleted.

SY133	AO/ASIF Intermedullary Nails	AO/ASIF Intermedullary Nails	0 - 20mm	Deleted.

SY210	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY211	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	11mm	Deleted.

SY213	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-11mm	Deleted.

SY220	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	12mm, L 360mm	Deleted.

SY221	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	12mm, L 260mm	Deleted.

SY225	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY226	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY227	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY229	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY231	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY232	Orthopaedic External Fixator Systems	Orthopaedic External Fixator Systems	1.25-6.0mm	Deleted.

SY323	AO/ASIF Plates	AO/ASIF Plates	2.4mm 4-12 hole	Deleted.

Plastic and Reconstructive

SY311	Fixator System	Fixator System	2.0mm, 6-14mm; Short, Medium, Tall - 7-12mm 	Deleted.

offset; 10-25mm advancement; 3.5mm dia

SY316	AO/ASIF Facio-maxillary Plates	AO/ASIF Facio-maxillary Plates	2.0mm, Large (1.5mm thickness) crescent shaped	Deleted.

SY348	Titanium Sternal Fixation System	Titanium Sternal Fixation System	8 or 6 holes, small or large	Deleted.

Tag Medical

Cardio-thoracic

TM001	AnnuloFlo Annuloplasty System	AnnuloFlo Annuloplasty System	26-36mm	Transferred to SA127.

TM002	CarboSeal Ascending Aortic Prosthesis, sterile, 	CarboSeal Ascending Aortic Prosthesis, sterile, 	AP 21-33mm, CP 21 - 33mm	Transferred to SA128.

CarboSeal Ascending Aortic Prosthesis with Handle 	CarboSeal Ascending Aortic Prosthesis with Handle

Model AP21, Model AP23, Model AP25, Model AP27,	Model AP21, Model AP23, Model AP25, Model AP27,

Model AP29, Model AP31, Model AP33, Carboseal 	Model AP29, Model AP31, Model AP33, Carboseal

Valsalva	Valsalva

TM003	Optiform	Optiform	19mm to 33mm	Transferred to SA129.

TM039	Mitroflow	Mitroflow	19-27mm	Transferred to SA130.

General/Miscellaneous

TM037	ANASTOCLIP (VCS)	ANASTOCLIP (VCS)	2.0mm	Compressed into TM036.

TM038	ANASTOCLIP (VCS)	ANASTOCLIP (VCS)	3.0mm	Compressed into TM036.

Deleted Items for Prostheses List Report	Page 23 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Taylor Bryant Pty Ltd

General/Miscellaneous

TB136	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	80 x 50 x 1mm, Bx /20	Deleted.

TB137	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	100mm, Bx /10	Deleted.

TB139	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	60 x 20 x 7mm, Bx /10	Deleted.

TB140	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	Bx /10	Deleted.

TB142	Curaspon Absorbable Gelatin Sponge	Curaspon Absorbable Gelatin Sponge	Bx /10	Deleted.

TB314	Curaspon Absorbable Gelatin Powder	Curaspon Absorbable Gelatin Powder	1 gram	Deleted.

Orthopaedic

TB204	Ulnar Head Implants	Ulnar Head Implants	Stem: 2,3,4 Head: 2,3,4	Expanded into TB400, TB401.

TB205	Radial Head Implants	Radial Head Implants	Stem: 2,3,4  Head: 2,3,4,4N	Expanded into TB402, TB403.

TiMax Surgical Pty Ltd

Plastic and Reconstructive

TI021	TiMax Titanium Plates	TiMax Titanium Plates	2 x 2 holes	Deleted.

TI026	TiMax Titanium Plates	TiMax Titanium Plates	.	Deleted.

TI033	TiMax Titanium Plates	TiMax Titanium Plates	Mesh 125 x 125mm	Deleted.

TI040	TiMax Titanium Plates	TiMax Titanium Plates	4 to 14 holes	Deleted.

TI086	Ultimax Bone Screws	Ultimax Bone Screws	1.0-2.3 x 2-22mm, each	Deleted.

TI087	Ultimax Bone Screws	Ultimax Bone Screws	1.0-2.3 x 2-22mm, 4 pack	Deleted.

TI088	Ultimax Bone Screws	Ultimax Bone Screws	1.0-2.3 x 2-22mm, 5 pack	Deleted.

Tornier Pty Ltd

Orthopaedic

TO019	HLS Noetos Total Knee Replacement - Tibial Tray	HLS Noetos Total Knee Replacement - Tibial Tray	1 - 6 CoCr	Expanded into TO033, TO034.

TO020	HLS Noetos Total Knee Replacement - Tibial Insert	HLS Noetos Total Knee Replacement - Tibial Insert	1 - 6, 9,11 & 13mm	Expanded into TO035, TO036.

TO023	HLS Noetos Revision Knee	HLS Noetos Revision Knee	5, 7 and 9 degrees 4 and 8 mm thick	Compressed into TO022.

William A Cook Australia Pty Ltd

Ear, Nose & Throat

WC073	Tracheal/broncheal stent	Tracheal/broncheal stent	Expanded Diameter 15-40 mm Length 5cm	Deleted.

General/Miscellaneous

WC016	Cook Biliary Stents	Cook Biliary Stents	Single, triple and five body	Deleted.

Deleted Items for Prostheses List Report	Page 24 of 25

Billing Code	Product Name	Further Description	Size	Explanation of Deletion

Vascular

WC153	Zenith AAA Endovascular Graft	Zenith AAA Endovascular Graft	Proximal body 24 - 36mm diameter and 76 - 137mm 	Deleted.

long. Distal bifurcated body 24mm diameter and 76 -

121mm long. Ipsilateral cuff 12-24mm diameter.

Contralateral leg extension 8 - 24mm diameter and 37

- 122mm long

WC186	ZenithThoracic Endovascular Graft	ZenithThoracic Endovascular Graft	22mm to 42mm diameter; 115mm to 216mm length	Expanded into WC238, WC239.

WC187	Zenith Thoracic Endovascular Graft	Zenith Thoracic Endovascular Graft	26mm to 42mm diameter; 127mm to 207mm length	Expanded into WC240, WC241.

WC209	Zenith Composite AAA Endovascular Graft	Zenith Composite AAA Endovascular Graft	1 or 2 internal Stents, 24-36mm diameter, 73-129mm 	Deleted.

Length

Zimmer Pty Ltd

Neurosurgical

ZI332	Dynesys Spacer	Dynesys Spacer	45mm long	Deleted.

ZI333	Dynesys Pedicle Screw	Dynesys Pedicle Screw	35 to 50mm lengths	Deleted.

ZI334	Dynesys Cord	Dynesys Cord	100 or 200 mm long	Deleted.

Orthopaedic

ZI063	NexGen Flex Femoral Components	NexGen Flex Femoral Components	Sizes A - G, Left & Right	Expanded into ZI588, ZI589, ZI590, ZI591,

GSF C to G Left & Right	ZI592.

ZI065	Insall-Burstein II Articulating Surface	Insall-Burstein II Articulating Surface	30, 35mm	Compressed into ZI064.

ZI125	NexGen Knee Tibial Components Stemmed	NexGen Knee Tibial Components Stemmed	1  - 10	Expanded into ZI594, ZI595.

ZI130	NexGen Knee Tibial Components Stemmed	NexGen Knee Tibial Components Stemmed	1 - 10	Deleted.

ZI291	NexGen Prolong Flex Articulating Surface	NexGen Prolong Flex Articulating Surface	Sizes A to G	Expanded into ZI584, ZI585, ZI586, ZI587.

9mm to 20mm

ZI407	Natural Knee	Natural Knee	One size only	Compressed into ZI406.

Grand Total:	588 Records

Deleted Items for Prostheses List Report	Page 25 of 25