## Prescribed List
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
BL040 | 01 - Ophthalmic | Enhanced enVista IOL with Bausch + Lomb Preloaded Delivery System | The enVista Family of Intraocular Lenses (IOLs) are ultraviolet-absorbing, posterior chamber, hydrophobic acrylic IOLs. They have an aspheric lens optic, square posterior edge, and modified C haptics. The lenses can be folded for insertion into the eye. Models MXPLC and EC20E combine the preloaded IOL with an inserter and is sold in a common package. This alternate packaging configuration allows for a simpler loading of the injector. | Optic Body Diameter, 6.0 +/- 0.1 mm. Overall Diameter 12.5 +/- 0.2 mm. Power Range +0.0 to +34.0D (+0.0 to +9.0D in 1D increments, +10.0 to +30.0D in 0.5D increments, +31.0 to +34.0D in 1D increments) | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Product name, Description, Size
BL043 | 01 - Ophthalmic | Enhanced enVista Toric with Bausch + Lomb preloaded delivery system | The enVista Family of Intraocular Lenses (IOLs) are ultraviolet-absorbing, posterior chamber, hydrophobic acrylic IOLs. They have an aspheric lens optic, square posterior edge, and modified C haptics. The lenses can be folded for insertion into the eye. The MX60PTC and ETC20E models combine the preloaded IOL with an inserter and is sold in a common package. This alternate packaging configuration allows for a simpler loading of the injector. | Specification: Optic Body Diameter 6.0 +/- 0.1 mm. Overall Diameter 12.5 +/- 0.2 mm. Lens Power Range +0.0 to +30.0D (in 0.5D increments) +0.90D to +5.75D (in 0.75D increments from +1.25D). | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Product name, Description, Size
CZ012 | 01 - Ophthalmic | Z-HYALIN Viscoelastic | Cohesive Viscoelastic Solution - sodium hyaluronate 10mg/ml. (previously called Ophthalin) | 27G, 1.0ml syringe | CARL ZEISS PTY. LIMITED |  | Change to ARTG, Size
CZ013 | 01 - Ophthalmic | Z-HYALIN Plus Viscoelastic | Cohesive Viscoelastic Solution - sodium hyaluronate 15mg/ml. (previously called Opthalin Plus) | 27G, 1.0ml syringe | CARL ZEISS PTY. LIMITED |  | Change to ARTG, Size
CZ019 | 01 - Ophthalmic | TWINVISC Viscoelastic | TWINVISC includes a cohesive and a dispersive viscoelastic in one syringe, separated by a valve. Dispersive: sodium hyaluronate (2.2%). Cohesive: sodium hyaluronate (1%) | 25G, 0.7ml two-chamber intracameral syringe | CARL ZEISS PTY. LIMITED |  | Change to ARTG, Size
CZ043 | 01 - Ophthalmic | COMBIVISC | COMBIVISC consists of two ophthalmic viscoelastic devices that are contained in two syringes with two 25 gauge cannula. The first device contains one prefilled syringe of dispersive viscoelastic 3% (0.85ml) with a 25 gauge viscoflow cannula. The second device contains one prefilled syringe of cohesive viscoelastic 1.5% (1.0ml) with a 25 gauge cannula. | 2 intracameral syringes - 25G, 1.0 ml Cohesive part syringe and 25G, 0.85 ml syringe | CARL ZEISS PTY. LIMITED |  | Change to ARTG, Description, Size
VN001 | 03 - General Miscellaneous | Embozene Tandem Microspheres | Non-resorbable biocompatible hydrogel microspheres coated with an inorganic perfluorinated for vascular embolisation, designed to occlude blood vessels and capable of being loaded with chemotherapy agents for controlled local drug delivery. | 40um 2ml, 75um 2ml, 100um 2ml | VARIAN MEDICAL SYSTEMS AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
VN002 | 03 - General Miscellaneous | Embozene Tandem Microspheres | Non-resorbable biocompatible hydrogel microspheres coated with an inorganic perfluorinated for vascular embolisation, designed to occlude blood vessels and capable of being loaded with chemotherapy agents for controlled local drug delivery. | 40um 3ml, 75um 3ml,100um 3ml | VARIAN MEDICAL SYSTEMS AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
WC013 | 03 - General Miscellaneous | Zimmon Biliary Stent Set | Double pigtail plastic biliary stent with delivery system | 5 - 10Fr, Length 2 - 18cm | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to ARTG, Size
WC017 | 03 - General Miscellaneous | Cotton-Leung Biliary Stent Set | Set includes stent, positioning sleeve to collapse the duodenal flap, 170cm pushing catheter and 320cm guiding catheter. 5 and 7Fr stents do not include guiding catheter. | 5 - 11.5Fr, Length 3 - 18cm | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to ARTG, Description, Size
WC106 | 03 - General Miscellaneous | OASIS One Action Stent Introduction System with Pre-Loaded Cotton-Leung Biliary Stent | Set Includes: Introducer with four radiopaque bands 5 cm apart, with preloaded Cotton-Leung stent, pushing catheter, guiding catheter and positioning sleeve. | Diameter 7 - 11.5 FR, length 5 - 15cm | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to Product name, ARTG, Description
WC228 | 03 - General Miscellaneous | Oasis One Action Stent Introduction System Preloaded with ST-2 Soehendra Tannenbaum Biliary Stent | Set Includes: Introducer with four radiopaque bands 5 cm apart, with preloaded ST-2 Soehendra Tannenbaum stent, pushing catheter, guiding catheter and positioning sleeve. | 8.5 - 11.5 Fr, 5 - 15 cm | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to Product name, ARTG, Description
WV002 | 03 - General Miscellaneous | VIPER HemoClip | The Viper HemoClip Device consists of a pre-loaded, single use clip for the GI tract with one step deployment. | 9mm, 11mm, 13mm, 16mm,18mm | STERIS AUSTRALIA PTY LTD |  | Change to Size
XN011 | 03 - General Miscellaneous | 4DVENTRAL COMPOSITE MESH | Extraperitoneal partially resorbable parietal composite reinforcement implants | 15cm X15cm, 15cm X 20cm, 20cm x 20cm | ASIA ACTUAL AUSTRALIA PTY. LTD. |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
XN012 | 03 - General Miscellaneous | 4DVENTRAL COMPOSITE MESH | Extraperitoneal partially resorbable parietal composite reinforcement implants | 15 X 30cm, 20 X 25cm | ASIA ACTUAL AUSTRALIA PTY. LTD. |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
XN013 | 03 - General Miscellaneous | 4DVENTRAL COMPOSITE MESH | Extraperitoneal partially resorbable parietal composite reinforcement implants | 30 X 30, 25 x 35cm | ASIA ACTUAL AUSTRALIA PTY. LTD. |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
XN014 | 03 - General Miscellaneous | 4DVENTRAL COMPOSITE MESH | Extraperitoneal partially resorbable parietal composite reinforcement implants | 30cm X 50cm, 45cm X 45cm | ASIA ACTUAL AUSTRALIA PTY. LTD. |  | Change to Product name, Description, Size
LH294 | 04 - Neurosurgical | Sugita Aneurysm Clips T2 | Titanium 2 Fenestrated and Crankshaft clips | Shape: Standard. Opening: width (mm) 7.5mm-15.5mm Holding force (newtons): 1.47N (+/- 7.5%) | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
IG039 | 04 - Neurosurgical | DuraGen Plus | Collagen dural graft matrix | 2.5cm x 2.5cm | INTEGRA NEUROSCIENCES PTY LTD | The Prescribed List reimbursement for the billing code is restricted to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | Change to Condition
SK493 | 04 - Neurosurgical | DuraMatrix | Resorbable Collagen Dura Substitute Membrane | 1" x 3" (2.5cm x 7.5cm) | STRYKER AUSTRALIA PTY LTD | The Prescribed List reimbursement for the billing code is restricted to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | Change to Condition
ER735 | 04 - Neurosurgical | FHC Microelectrode Cable | Medtronic Microelectrode Cable for microelectrode recording (MER) used for intracranial recording of neural activity prior to DBS | 3 metres | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Product name, Description, Size
UY003 | 04 - Neurosurgical | Evoke Closed Loop Stimulator (CLS) | CLS model REF: 1002. A 24 contact implantable, rechargeable spinal cord stimulator capable of providing ECAP-controlled closed-loop stimulation. | Dimensions: 68 mm x 48 mm x 12 mm. | SALUDA MEDICAL PTY LIMITED |  | Change to ARTG, Description, Size
WW006 | 04 - Neurosurgical | Nevro Spinal Cord Stimulation System (SCSS) - Lead Kit | The percutaneous lead is intended to be single use and interfaces with the Implantable Pulse Generator (Senza II, Senza Omnia, Senza HFX iQ, Bluetooth Trial Stimulator, HFX Trial Stimulator), lead extender OR cable, and lead accessories. The Lead Kit includes Percutaneous 8-contact lead; Stylet, Curved .014", Stylet, Curved .016"; Stylet, Straight .014"; Lead Anchor, Asymmetrical Eyelets; Lead Anchor, N100; Insertion Needle. | Lead Length: 50cm, 70cm, 90cm, Electrode spacing: 5mm. Stylet Length: 50cm, 70cm, 90cm. Insertion Needle: 10cm | Nevro Medical Pty Ltd |  | Change to Description, Size
WW014 | 04 - Neurosurgical | Nevro Spinal Cord Stimulation System (SCSS) - Stylet Kit | The Stylets are used to push and "steer" the stimulation Lead into place. These are standard configurations offered across industry offering the implanter the flexibility to manoeuvre the leads through the epidural space to the desired implant location. Compatible with Nevro SCS Lead Kits. The Stylet Kit includes: Stylet, Curved .014"; Stylet, Curved .016" ; Stylet, Straight .014". | Straight Stylet: .014"; Length: 50cm, 70cm, or 90 cm. Curved Stylet: .014" and .016"; Length: 50cm, 70cm or 90cm. | Nevro Medical Pty Ltd |  | Change to Description, Size
BS451 | 05 - Urogenital | Axonics Foramen Needles | 6 Foramen needles | Short and Long | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG
HW927 | 06 - Specialist Orthopaedic | MoPyC-Modular Pyrocarbon Radial head Prosthesis | A modular pyrocarbon radial head and neck prosthesis | 18mm, 20mm, 22mm | STRYKER AUSTRALIA PTY LTD |  | Change to Description
HU376 | 06 - Specialist Orthopaedic | Arthrex Univers Revers SutureCup CaP-Coated | SutureCup | Size: 33-42 Size: +2mm left hand side, +2mm right hand side, neutral | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
HU378 | 06 - Specialist Orthopaedic | Arthrex Univers Revers Humeral Insert | Humeral Insert | Size: 33-42mm Height: +3mm to +6mm | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
HU395 | 06 - Specialist Orthopaedic | Arthrex Univers Revers Modular Glenoid System, Combination Humeral Insert | Combination Humeral Insert | Size:33-42 Offset:33-45 +3, 33-45 +6 | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
QQ781 | 06 - Specialist Orthopaedic | Altivate Reverse Shoulder Prosthesis System | Standard and Small Socket Inserts e+ Poly | Size - 32mm, 36mm, 40mm, 44mm, Standard and Small, Thickness - Standard and +4, Constraint – Standard and Semi | ENOVIS SURGICAL AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
HU393 | 06 - Specialist Orthopaedic | Arthrex Univers Revers Modular Glenoid System Glenosphere | Glenosphere | Size: 33-45mm Offset: neutral, +4LAT/24, +4LAT/28, +2.5INF/24, +2.5INF/28 | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
HU382 | 06 - Specialist Orthopaedic | Arthrex Univers Revers Spacer | Spacer | Size: 33-42 Height: 6-15 | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
BH127 | 06 - Specialist Orthopaedic | Versadial Taper Adapter | Eccentric adaptor, taper insert | Std, 25 and 28mm | ZIMMER BIOMET PTY LTD |  | Change to Product name, ARTG, Size
SK337 | 06 - Specialist Orthopaedic | Stryker T2 Trauma Locking Nail System | Arthrodesis Nail - Knee | Arthrodesis Nail Left/Right; 11.5mm and 13mm | STRYKER AUSTRALIA PTY LTD |  | Change to Product name
LH951 | 06 - Specialist Orthopaedic | Orthofix AHN - Ankle Hindfoot Nail | Titanium Hindfoot Fusion Nailing System and revision nail with jig. | 10, 11, 12mm diameter. 150 - 300mm length., Revision nail 11 and 12mm diamter, 200-300mm length with jig | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, Description, Size
HU197 | 06 - Specialist Orthopaedic | Osteotomy Plates | Osteotomy, Femoral - Stainless Steel | 5.0mm - 17.5 mm | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
MN356 | 06 - Specialist Orthopaedic | VA-LCP Periprosthetic Proximal Femur Plating System | VAL compression plate, proximal femur plates, stainless steel | ≥16 holes, left & right profile | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix,Change to Group benefit
QQ074 | 06 - Specialist Orthopaedic | ASDM Clavicle Plating System - Plates | Clavicle fracture plating system consisting of anatomic pre-contoured stainless steel locking compression plates and screws (cortical, cancellous & locking) | 6 holes(L&R), | ALLEGRA INNOVATIONS PTY LTD |  | Change to Suffix, ARTG,Change to Group benefit
PB082 | 06 - Specialist Orthopaedic | DM Clavicular Hook Looking Plate III | DM Clavicular Hook Looking Plate III | 5-6 holes | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
SY703 | 06 - Specialist Orthopaedic | AO/ASIF Plates | Specialty Locking Plate | ≤ 6 holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix,Change to Group benefit
LH824 | 06 - Specialist Orthopaedic | TriMed Hook Plate | Hook Plate | 4 to 6 holes | LIFEHEALTHCARE PTY LIMITED |  | Sponsor transferred from LMT SURGICAL PTY LTD
XU002 | 06 - Specialist Orthopaedic | ARIX Clavicle System-Hook Plates | 3.5mm clavicle hook plate | 5-6 holes, Left/Right | LYKA SMITH PTY LTD |  | Change to Suffix, Size,Change to Group benefit
YE025 | 06 - Specialist Orthopaedic | PediLoc - Plating System ≤ 6 Holes, Distal, Proximal and Femoral Plates | Distal, Proximal and Femoral Plates | 3.5mm-4.5mm, 4-6 Holes | ORTHOPEDIATRICS AUS PTY LTD |  | Change to Product name, Description
QQ073 | 06 - Specialist Orthopaedic | ADSM Clavicle Plating System - Plates | Clavicle fracture plating system consisting of anatomic pre-contoured stainless steel locking compression plates and screws (cortical, cancellous & locking) | 8-13 holes (L & R), | ALLEGRA INNOVATIONS PTY LTD |  | Change to Suffix, ARTG,Change to Group benefit
HU195 | 06 - Specialist Orthopaedic | Low Profile MTP Plate | VAL Titanium Contoured MTP Plate | 8 Hole plate with 3mm diam | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix, Description, Size,Change to Group benefit
DZ101 | 06 - Specialist Orthopaedic | Austofix Clavicle L&C Plates | Hook Clavicle Locking Plates | 7 Holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Suffix, Size,Change to Group benefit
PB083 | 06 - Specialist Orthopaedic | DM Clavicular Hook Looking Plate III | DM Clavicular Hook Looking Plate III | 7-10 holes | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
SY618 | 06 - Specialist Orthopaedic | AO/ASIF Plates | LCP Clavicle - superior, anterior, hook | 7-15 holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix,Change to Group benefit
LH825 | 06 - Specialist Orthopaedic | TriMed Ankle Plates | Hook Plates | 8 to 12 holes | LIFEHEALTHCARE PTY LIMITED |  | Sponsor transferred from LMT SURGICAL PTY LTD
YE026 | 06 - Specialist Orthopaedic | PediLoc - Plating System ≥ 7 to ≤ 15 holes, Distal, Proximal and Femoral Plates | Distal, Proximal and Femoral Plates | 3.5mm-4.5mm, 8-14 Holes | ORTHOPEDIATRICS AUS PTY LTD |  | Change to Product name, Description
YE027 | 06 - Specialist Orthopaedic | PediLoc - Plating System ≥ 16 holes, Femoral Plates | Femoral Plates | 3.5mm-4.5mm, 16-20 Holes | ORTHOPEDIATRICS AUS PTY LTD |  | Change to Product name, Description
SY809 | 06 - Specialist Orthopaedic | AO/ASIF Plates | Curved and J low profile reconstruction plates | ≥16 holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix, Description,Change to Group benefit
SY817 | 06 - Specialist Orthopaedic | AO/ASIF Plates | Locking plates | Less than 6 holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix,Change to Group benefit
SY818 | 06 - Specialist Orthopaedic | AO/ASIF Plates | Locking plates | 7 to 15 holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix,Change to Group benefit
BH065 | 06 - Specialist Orthopaedic | Sternalock | Straight plate, locking, | 8 hole | ZIMMER BIOMET PTY LTD |  | Change to Suffix,Change to Group benefit
DZ002 | 06 - Specialist Orthopaedic | Austofix Small Fragment System | Humeral Plates – Dorsal, Distal, Distal Medial, Distal Lateral, Proximal | 7-15 Holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Suffix,Change to Group benefit
DZ025 | 06 - Specialist Orthopaedic | Austofix PHP - Proximal Humeral Plating System | Anatomic Periarticular Humeral Variable Angle Locking Plate, Titanium | 12-14 Hole | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Size
SY762 | 06 - Specialist Orthopaedic | AO/ASIF Plate | Anatomic Locking Humerus plate | ≥ 7 - ≤ 15 holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Description
DZ073 | 06 - Specialist Orthopaedic | Austofix Proximal Humeral Plating System - Austofix Proximal Humeral Plate | Anatomic Periarticular Humeral Variable Angle Locking Plate, Titanium | 16 holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Suffix, Size,Change to Group benefit
DZ003 | 06 - Specialist Orthopaedic | VRP Radius Fixation System | Locking Compression Plate Radius | 1-6 Holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Product name, Description
DZ022 | 06 - Specialist Orthopaedic | VRP Distal Radius Fixation System | Volar Distal Radius Plate | 13 holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Size
DZ004 | 06 - Specialist Orthopaedic | VRP Distal Radius Fixation System | Volar Radius Plate: Standard | ≥ 16 holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
SY743 | 06 - Specialist Orthopaedic | AO/ASIF Plates | LCP hook Plates | ≤6 Holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Description
ZI749 | 06 - Specialist Orthopaedic | NCB Polyaxial Locking Plate System | NCB Variable Angle Locking Plate - Femur - Ti Alloy | 15 holes Left & Right | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
ZI748 | 06 - Specialist Orthopaedic | NCB Polyaxial Locking Plate System | NCB Variable Angle Locking Plate – Femur – Ti Alloy | ≥16 holes, Left & Right | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Description, Size
HU297 | 06 - Specialist Orthopaedic | KreuLock Locking Compression Screw, Ti and SS | Locking Compression Screws Titanium and Stainless Steel | 3.0mm-3.5mm | ARTHREX AUSTRALIA PTY LTD |  | Change to Product name, Description
QQ237 | 06 - Specialist Orthopaedic | Low Profile Screw, Cortical | Low Profile Screw, Cortical, sterile and non-sterile | 3-3.5mm x 42-110mm | ARTHREX AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
LH831 | 06 - Specialist Orthopaedic | TriMed Bone Screw | Compression Bone Screw | 4mm x 35-60mm | LIFEHEALTHCARE PTY LIMITED |  | Change to Suffix, Description,Change to Group benefit
BP028 | 06 - Specialist Orthopaedic | Tyber Medical Trauma headless screw | Headless trauma screw for compression and fixation of bone, Sterile or Nonsterile, Titanium | 2.5mm | ACRA REGULATORY SERVICES PTY LTD |  | Change to Description
HU298 | 06 - Specialist Orthopaedic | KreuLock Locking Compression Screws, Ti and SS | Locking Compression Screws TI and SS | 2.4 mm-2.7 mm | ARTHREX AUSTRALIA PTY LTD |  | Change to Product name, Description, Size
HU347 | 06 - Specialist Orthopaedic | Mini Fragment System - 2.7mm Cortical Screws | Cortical Screws for Plate Fixation of Fracture | 2.7mm x 6.0mm-15mm (1mm) Increments 2.7mm x 16mm-60mm (2mm) Increments 2.7mm x 55-80mm (5mm) Increments | ARTHREX AUSTRALIA PTY LTD |  | Change to ARTG, Size
QQ127 | 06 - Specialist Orthopaedic | K-Wires & Pins | Sabre Medical K-Wires / Steinman pins, implant grade, 316L Stainless Steel. The wires and pins are listed on the PL when used for the stabilisation and fixation of bone fractures or graft, osteotomy or arthrodesis or as components of External Fixateur constructs, and not for any other purpose. | 2.0-5.0mm diameter, 150-260mm length, Single & Double ended | ALLEGRA INNOVATIONS PTY LTD |  | Change to Product name, Suffix, ARTG, Description, Size
QQ818 | 06 - Specialist Orthopaedic | Revolution Surgical Ligament Staples | Ligament Staples (with or without spikes) | 18mm x 6mm x 1.9mm | REVOLUTION SURGICAL PTY. LTD. |  | Change to Product name, Description
HU220 | 06 - Specialist Orthopaedic | Cinch II | Meniscal anchor | L: 5.3mm D: 1.1 mm | ARTHREX AUSTRALIA PTY LTD |  | Change to Group benefit
MN211 | 06 - Specialist Orthopaedic | Truespan meniscal repair system | Pre-loaded Peek backstops and ORTHOCORD suture | 0 to 24 degree | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG,Change to Group benefit
QQ163 | 06 - Specialist Orthopaedic | TRUESPAN Meniscal Repair System Absorbable | Preloaded PLGA backstops and ORTHOCORD suture | 0, 12, 24 degree Needle | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix,Change to Group benefit
HU400 | 06 - Specialist Orthopaedic | Corkscrew FT Suture Anchors | Corkscrew FT suture anchor with and without needles, Titanium or PEEK | 4.75mm and 5.5mm | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
LH792 | 06 - Specialist Orthopaedic | Lockdown Shoulder Stabilisation System (Acromio-Clavicular Device, Cortical Screws, washer) | Lockdown Shoulder Stabilisation System containing LockDown™ Acromio-Clavicular (AC) Device (Woven double braided polyester) with the Cortical Screws (3.5mm Dia of different lengths) paired with 1mm Washer (SS) | 5 to 20cm | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, Description
LH928 | 06 - Specialist Orthopaedic | Orthofix External Fixation Systems | MiniRail System | Short, Standard, Long, Multiplanar and Articulated, Horizontal and Vertical Axis | LIFEHEALTHCARE PTY LIMITED |  | Change to Size
LH945 | 06 - Specialist Orthopaedic | LRS Clamps | Multiplanar, translation, T Garches, ring hinge, micrometric translation-angulation, ball joint, swivelling, metaphyseal and dyna-ring clamps | Adult and paediatric | LIFEHEALTHCARE PTY LIMITED |  | Change to Description, Size
LH927 | 06 - Specialist Orthopaedic | Orthofix Limb Reconstruction System | Complete kits or construct consisting of one rail and 1 to 4 clamps, with and without compression distraction (CD) units. | Adult and paediatric - CD units: standard and long, 6.2mm. Clamps: small, straight, translation, inclination. Rails: 120mm to 400mm. Kits: 200 to 400m, short, standard, long | LIFEHEALTHCARE PTY LIMITED |  | Change to Description, Size
JJ932 | 06 - Specialist Orthopaedic | SmartSet | High Viscosity and Medium Viscosity Endurance Bone Cement | 40 g | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Description, Size
IY001 | 06 - Specialist Orthopaedic | GlassBONE Injectable Putty | Injectable putty for bone grafting | 1cc to 5cc | EVOLUTION SURGICAL PTY LTD |  | Change to Size
IY002 | 06 - Specialist Orthopaedic | GlassBONE Injectable Putty | Injectable putty for bone grafting | 6cc - 10cc | EVOLUTION SURGICAL PTY LTD |  | Change to Size
IC008 | 07 - Plastic and Reconstructive | Southern Implant IE Osseointegrated Implant | Titanium implant for the treatment of patients with craniofacial defects | Width 3.75mm - 4.0mm Length 3.0mm - 6.0mm | Southern Implants Australia Pty Ltd |  | Change to ARTG
IC006 | 07 - Plastic and Reconstructive | Southern Implants Healing Abutments | Titanium healing abutment that sculpts and prepares soft tissue | Emergence profiles: Narrow - Wide Diameters 3.0 - 8.0mm and Heights from 1.0 through to 12mm.This includes The following Diameters: 3.0, 3.5,3.6,3.7, 3.8, 4.0, 4.5, 5.0,5.5,6.0,6.5, 7.0, 7.5, 7.8, 8.0mm | Southern Implants Australia Pty Ltd |  | Change to ARTG, Size
IC007 | 07 - Plastic and Reconstructive | Southern Implants Cover Screw | Titanium covering cap/screw | Platforms from 3 - 9mm Length 1mm | Southern Implants Australia Pty Ltd |  | Change to ARTG, Size
SJ035 | 09 - Cardiothoracic | Tailor Annuloplasty Ring | Tailor Flexible Annuloplasty Ring, sizer set, replacement holder and extension handle | 25mm - 35mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG, Description
SJ087 | 09 - Cardiothoracic | Rigid Saddle Ring | Rigid Saddle Ring, sizer set, replacement holder and extension handle | 24 - 34mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG, Description
WC173 | 10 - Vascular | Non-neurovascular embolization coil | Nester Embolization Coils and microcoils are made of platinum with spaced synthetic fibers and are supplied preloaded in a loading cartridge. | Recommended catheter ID and end hole diameter inch: .018 and .035inch. Extended embolus lengths: 2 to 20cm. Coiled embolus diameters: 2mm to 20mm. | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to Product name, Description, Size
VN003 | 10 - Vascular | Embozene Microspheres | Non-resorbable biocompatible hydrogel microspheres coated with an inorganic perfluorinated for vascular embolisation, intended to occlude blood vessels in a range of clinical indications. | 40-1300 um, 1-2 ml | VARIAN MEDICAL SYSTEMS AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
QQ123 | 10 - Vascular | GamCath Dolphin Protect HighFlow Haemodialysis Catheter Kit | GamCath HighFlow Dolphin Protect Catheters are single-use, sterile Polyurethane vascular access Catheters with Dolphin Protect (CareBioBac) Coating for adult patients used by health professionals. GamCath Dolphin Protect catheters are intended for the short-term (up to 30 days) modification of subclavian, jugular or femoral veins to obtain vascular access and for the short-term (up to 30 days) treatment by extracorporeal blood purification methods such as apheresis, autotransfusion, hemodialysis, hemofiltration, hemodiafiltration, plasmapheresis or extracorporeal carbon dioxide removal in combination with extracorporeal blood purification devices and their accessories. | 11.5F to 13F guage. Available in 150mm to 250mm Straight and curved configurations. | VANTIVE PTY LTD |  | Change to ARTG
XK001 | 10 - Vascular | GamCath High Flow Catheter Kit Double Lumen Kit | GamCath High Flow Catheter is a polyurethane, kidney elliptical double lumen, staggered tipped catheter kit, which ensures flows up to 430ml/min | 11.5fr and 13fr guage. Available in 150mm, 175mm, 200mm and 250mm length and straight and curved configuration. | VANTIVE PTY LTD |  | Change to ARTG
XK002 | 10 - Vascular | GamCath High Flow Triple Lumen Catheter Kit | GamCath High Flow Catheter is a polyurethane, kidney elliptical triple lumen, staggered tipped catheter kit, which ensures flows up to 430ml/min | 13fr gauge. Available in 150mm, 200mm and 250mm length and straight and curved configuration. | VANTIVE PTY LTD |  | Change to ARTG, Size
HT033 | 11 - Hip | Pantheon Cemented Stem | Ti6Al4V Mirror polished | Diameter 10-22mm Length 115 | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to Size
MN275 | 11 - Hip | ACTIS Femoral Stem | Collared, grit blasted, proximal beaded with HA | Size 0-12 | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Description,Change to Group benefit
ZI540 | 11 - Hip | Trabecular Metal Acetabular Revision System Cage | Modular cup-cage titanium alloy | 56-80 Long & short flanged left & right | ZIMMER BIOMET PTY LTD |  | Change to Product name, ARTG
HT062 | 12 - Knee | Pantheon Ti-Por Cone, Pantheon Ti Uber cones | Metaphyseal/Diaphyseal Cones with the TiPor three-dimensional surface with fully interconnected porosity. For use with the Pantheon and Genus Pantheon systems | TiPor ML 30-58mm, Height 30-40mm. TiUber A-C (ML 34-37.4mm, Height 42-53mm) | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to Product name, Size
DE664 | 13 - Spinal | Mariner Solid Pedicle Shank Screw | Posterior Fixation System | 4.5, 5.5, 6.5, 7.5, 8.5, 9.5, 10.5, 11.5 & 12.5 Diameters 25-110mm Length | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. |  | Change to Product name, Size
QQ694 | 13 - Spinal | Regatta Lateral Plate and locking cover | The SeaSpine Regatta Lateral Plate is indicated as additional support during fusion via a lateral or anterolateral surgical approach in the treatment of thoracic and thoracolumbar (T1-S1) spine instability, as the result of fracture, tumour, DDD, scoliosis, kyphosis, lordosis, stenosis or failed previous surgery. The Regatta Plate must be used with a locking cover. The Lateral plates with plate locking covers or 1 hole plate locking covers are listed for use with interbody cages listed in No integral fixation subgroup or when used without cages. | 1 hole plate size 8mm - 18mm in 2mm increments. 2 Hole Plate size 8mm - 18mm in 2mm increments, 4 Hole Plate size 8mm - 18mm in 2mm increments, Plate locking cover for 2/4 hole plate 8mm-18mm and 1 hole locking plate 8mm-18mm | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. |  | Change to Description, Size
QQ455 | 13 - Spinal | Invictus Rod | Titanium alloy and cobalt chrome straight, lordotic, MIS and patient specific rods. | (3.5 - 6.0) mm diameter x (20-600)mm length | ALPHATEC AUSTRALIA PTY LTD |  | Change to Description
DE818 | 13 - Spinal | BlackArmor Carbon Fibre/PEEK Curved / Multicurved Rods | The BlackArmor material is a combination of continuous, high-strength carbon- fiber-reinforced PEEK and a procedure developed by icotec – Injection Moulding CFM (Composite Flow Moulding). The result is a non-metallic implant component with an interwoven 3D fibre architecture that provides unmatched strength and endurance. BlackArmor is radiolucent in all diagnostic imaging modes (MRI, CT and X-ray) and will therefore not create imaging artifacts; a significant clinical benefit in the postoperative monitoring of anatomical structures and other forms of treatment. | Curved and Multicurved rods, Diameter: 6.0mm Radius: 120mm, 40mm-120mm, Radius 450mm 80mm - 160mm, Multicurved/cuttable Length: 180-240 & HT1, HT12, TL1, L1 and L2 300mm shaped | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Description, Size
LH587 | 13 - Spinal | Cervical Spine Truss System - Cage and screw | Cervical Interbody Fusion System – includes primary and rescue screws for integral fixation | Cages D 12-16 x W 15-19 x H 5-12mm; Lordosis 0, 7 and 12 degree; Screws: Dia 3.5-3.8mm x Length 12-18mm | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, Description, Size
JG018 | 13 - Spinal | PorOssity 3D Printed TLIF Fusion Cage | PorOssity Banana Fusion Cage and PorOssity Oblique TLIF Interbody Fusion Cage (Single cage only) | Cage Sizes range from 30-34mm x 9-11mm. Height is 7-16mm. Lordosis is 0-20 degrees. | ADDITIVE SURGICAL PTY LTD |  | Change to Size
MI059 | 13 - Spinal | Prestige Cervical Disc | Cervical intervertebral disc prosthesis with ball-and-trough designed articulation | 5mm - 8mm x 12mm - 18mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
JP001 | 13 - Spinal | Pro-Disc L Superior Plate Component | Pro-Disc L Superior Plate Component | 3 Degree, 6 Degree, 11 Degree, Medium, Large | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to ARTG
JP002 | 13 - Spinal | Pro-Disc L Inferior Plate Component | Pro-Disc L Inferior Plate Component | 0 Degree, 3 Degree, 8 Degree, Medium, Large | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to ARTG, Size
JP003 | 13 - Spinal | Pro-Disc L - Core Component - Polyethylene Inlay | Pro-Disc L - Core Component - Polyethylene Inlay | 10, 12, Medium, Large | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to ARTG, Size