## Prescribed List
Sponsor | Product Category | Billing Code | Product Name | Description | Size | End Cycle | Delete Comment
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL044 | LuxGood Toric Preloaded | The LuxGood Toric intraocular lens (IOL) is a single-piece ultraviolet (UV) absorbing, posterior chamber, hydrophobic acrylic IOL, with blue light filtering and has aspheric and toric optics. The lens is provided sterile and is designed to be folded prior to insertion into the eye. The preloaded intraocular LuxGood Toric lens is supplied with an Accuject Pro Delivery System to provide a touch-free method of delivery of the lens into the capsular bag. | Body Diameter: 6.0 mm; Overall Diameter: 11 mm Haptic Angle: 0° Powers: +6.00 to +34.00 Diopters Cylindrical Powers: +0.75 to +6.00 Diopters | 2026-07-01 | DELETE
DESIGNS FOR VISION (AUST) PTY. LTD | 01 - Ophthalmic | DV250 | Hoya-PS AF-1 (UY) PY-60AD | Preloaded in cartridge, Aspheric, Blue blocker, Foldable, Single-Piece, Hydrophobic Acrylic | +6.0D to +30.0D (0.5D steps) | 2026-07-01 | DELETE
DESIGNS FOR VISION (AUST) PTY. LTD | 01 - Ophthalmic | DV264 | Hoya Vivinex iSert Preloaded IOL (Model XY1) | Intra Ocular Lens | Power +6 dioptres - +30 dioptres | 2026-07-01 | DELETE
DESIGNS FOR VISION (AUST) PTY. LTD | 01 - Ophthalmic | DV267 | Hoya Vivinex XY1AT Toric | Preloaded injector system, toric / corrects corneal astigmatism, micro-incision, aspheric, blue blocker, single piece hydrophobic | IOL Power: + 10.0 to 30.0 (0.5 steps), IOL Cylinder power: 1.0D (XY1AT2), 1.50D (XY1AT3), 2.25D (XY1AT4), 3.00D (XY1AT5), 3.75D (XY1AT6), 4.50D (XY1AT7), 5.25D (XY1AT8), 6.00D (XY1AT9) | 2026-07-01 | DELETE
DESIGNS FOR VISION (AUST) PTY. LTD | 01 - Ophthalmic | DV268 | Hoya Vivinex iSert preloaded IOL (Model XC1) | Preloaded injector system, micro incision, aspheric, UV filtering, single piece, hydrophobic acrylic | +6.0 to 30.0 D (in 0.5D steps) | 2026-07-01 | DELETE
LUMOS MEDICAL PTY LTD | 01 - Ophthalmic | LN003 | ALSAFIT | Single piece aspheric foldable intraocular lens for implantation into the capsular bag. | Diopter power range: 0.0 D to 32.00 D (0.50 D increments). Optic size: 6mm. Overall length: 11.0mm. | 2026-07-01 | DELETE
LUMOS MEDICAL PTY LTD | 01 - Ophthalmic | LN005 | ALSAFIT TORIC VF | Single piece toric aspheric foldable intraocular lens for implantation into the capsular bag. Violet filter. | Diopter power range: Sphere: From 0.0 D to +32.00 D (0.50 D increments). Cylinder: From +0.50 D to +6.00 D (0.50 D increments). Optic size: 6mm. Overall length: 11.0mm. | 2026-07-01 | DELETE
LUMOS MEDICAL PTY LTD | 01 - Ophthalmic | LN008 | ALSIOL | Single piece aspheric foldable intraocular lens for implantation into the capsular bag. | Diopter power range: 0.0 D to +32.00 D (0.50 D increments). Optic size: 6 mm. Overall length: 11.0 mm. | 2026-07-01 | DELETE
LUMOS MEDICAL PTY LTD | 01 - Ophthalmic | LN010 | I-stream Toric Hydrophilic | One-piece posterior chamber lens with aspherical surface for capsular bag fixation. | Optic diameter: 6mm Total diameter: 11mm Diopter range: +15.0 to +25.0D (standard), 1.0 to 14.5D and 25.5 to 40.0D (made to order) Cylinder range: 0.75 to 6.0D | 2026-07-01 | DELETE
LUMOS MEDICAL PTY LTD | 01 - Ophthalmic | LN011 | I-Stream Pre-Loaded Aspheric Hydrophobic | Single piece, pre-loaded aspheric hydrophobic acrylic IOL | Optic diameter: 6mm Total diameter: 13mm Power range: +9.0 to +32.0D | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU004 | Medicontur Bi-Flex POB-MA Toric 877PT | Single piece posterior chamber hydrophobic acrylic monofocal toric intraocular lens. Preloaded with biconvex aspheric optic. | Powers: +10.0 D to +30.0 D in 0.5 diopter increments Cylinder powers: 1.00 D, 1.50 D, 2.25 D, 3.00 D, 3.75 D, 4.50 D, 5.25 D, 6.00 D | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU005 | BiFlex 877PA Preloaded Hydrophobic Acrylic Foldable Aspheric Monofocal Lens without Blue Light Filter | Posterior Chamber IOL, special 360° sharp edge, Aspheric Aberration Balanced | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: -0.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 - +25.0 D ±0.25 D increment: 0.5 D +25.5 - +30.0 D ±0.5 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU007 | Medicontur BiFlex 677TA Hydrophilic Acrylic Foldable Toric Lens without Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +1.5 D - +7.0 D increment: 0.75 D | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU009 | Medicontur BiFlex 677TA Hydrophilic Acrylic Foldable Toric Lens without Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +7.0 D - +9.0 D increment: 0.75 D +9.0 D - +10.0 D increment: 1.0 D | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU010 | Medicontur BiFlex 677TAY Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +7.0 D - +9.0 D increment: 0.75 D +9.0 D - +10.0 D increment: 1.0 D | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU017 | Basis Z Preloaded Hydrophobic IOL | Hydrophobic preloaded IOLs | 6mm Optic Diameter and 13mm Length | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU027 | Medicontur BiFlex 677CTA Preloaded Hydrophilic Acrylic Foldable Toric Lens without Blue light Filter | Preloaded Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm, Overall diameter: 13.0 mm. Sph eq powers available: +8.0 to +35.0, Cylinders 1.0 to 6.0D. | 2026-07-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU028 | Medicontur BiFlex 677CTAY Preloaded Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Preloaded Posterior chamber IOL with blue light filter, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm, Overall diameter: 13.0 mm. Sph eq powers available: +8.0 to +35.0, Cylinders 1.0 to 6.0D. | 2026-07-01 | DELETE
ALCON LABORATORIES (AUSTRALIA) PTY LTD | 01 - Ophthalmic | QQ634 | Clareon Vivity Extended Vision UV Absorbing Intraocular Lens (Model CCWET0) | Clareon Vivity Extended Vision UV Absorbing IOL (Model CCWET0) is a presbyopia correcting, UV-absorbing, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances. | +10.0 to +30.0 diopters (in 0.5 diopter increments). | 2026-07-01 | DELETE
ALCON LABORATORIES (AUSTRALIA) PTY LTD | 01 - Ophthalmic | QQ636 | Clareon Vivity Hydrophobic Intraocular Lens with the AutonoMe Automated Pre-loaded Delivery System | Clareon Vivity Extended Vision Hydrophobic IOL with AutonoMe (Model CNAET0) is a presbyopia correcting, UV-absorbing, blue light filtering, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System. | +10.0 to +25.0 diopters (in 0.5 diopter increments). | 2026-07-01 | DELETE
ALCON LABORATORIES (AUSTRALIA) PTY LTD | 01 - Ophthalmic | QQ637 | Clareon Vivity Toric Extended Vision Hydrophobic IOL with AutonoMe (Model CNAET2-CNAET6) | Clareon Vivity Toric Extended Vision Hydrophobic IOL with AutonoMe (Model CNAET2-CNAET6) is a toric, presbyopia correcting, UV-absorbing, blue light filtering, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System. | +10.0 to +25.0 diopters (in 0.5 diopter increments). Cylinder 1.00 to 3.75 diopters. | 2026-07-01 | DELETE
ALCON LABORATORIES (AUSTRALIA) PTY LTD | 01 - Ophthalmic | QQ639 | Clareon Vivity Toric UV Absorbing IOL with AutonoMe (Model CCAET2-CCAET6) | Clareon Vivity Toric Extended Vision UV Absorbing IOL is a toric, presbyopia correcting, UV-absorbing, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System. | +10.0 to +25.0 diopters (in 0.5 diopter increments). Cylinder 1.00 to 3.75 diopters. | 2026-07-01 | DELETE
ALCON LABORATORIES (AUSTRALIA) PTY LTD | 01 - Ophthalmic | QQ640 | Clareon Vivity Toric Extended Vision UV Absorbing IOL (Model CCWET2 – CCWET6) | Clareon Vivity Toric Extended Vision UV Absorbing IOL (Model CCWET2 – CCWET6) is a toric, presbyopia correcting, UV absorbing, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances. | +10.0 to +30.0 diopters; Cylinder:1.00 to 3.75 diopters. | 2026-07-01 | DELETE
ALCON LABORATORIES (AUSTRALIA) PTY LTD | 01 - Ophthalmic | QQ647 | Clareon Vivity UV Absorbing IOL with AutonoMe Automated Pre-loaded Delivery System (Model CCAET0) | Clareon Vivity Extended Vision UV Absorbing IOL is a presbyopia correcting, UV-absorbing, foldable, single-piece posterior chamber intraocular lens, pre-loaded on the AutonoMe Automated Delivery System. | +10.0 to +25.0 diopters (in 0.5 diopter increments). | 2026-07-01 | DELETE
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL036 | FineVision Toric POD FT | Posterior chamber, toric, trifocal diffractive (aspheric), UV and blue light blocker, single piece acrylic IOL. | An overall diameter of 11.40mm and optic diameter of 6.00mm. From 0 to +35 Diopters with 0.5 diopter increments. | 2026-07-01 | DELETE
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL038 | B+L FINEVISION HP (POD F GF) | POD F GF test intraocular lens (IOL) is a foldable IOL with a quadripode “POD” open-loop design intended for capsular bag implantation. The IOL is made of the proprietary hydrophobic glistening-free (GFree®) material containing a UV-blocker and additional blue blocker. The material is a hydrophobic acrylic copolymer of medical quality which includes a UV (wavelength < 400 nm) absorbing filter and a blue light-filtering chromophore which is covalently bounded to the hydrophobic material. The optical part of the test POD F GF lens is biconvex and aspherical partially compensating the positive spherical aberration of the cornea. The optic bears a diffractive TRIFOCAL element on its anterior side (toward patient pupil), allowing for presbyopia correction and spectacle independence for near and intermediate visions. The add-power at the IOL plane for the near vision is + 3.5 diopters and for the intermediate vision + 1.75 diopters. POD F GF is intended for implantation in the capsular bag after human lens extraction after cataract. The IOL material is capable of being folded prior to insertion, allowing placement through an incision (2.0-2.2 mm) smaller than the optic diameter of the lens. After surgical insertion into the eye, the lens unfolds to ReSTOR the optical performance. The supporting haptics provide for proper positioning and fixation of the IOL optic within the eye. | Optic diameter: 6.00mm Total diameter: 11.40mm From Ø to +35 Diopters, with 0.5 Diopter increments | 2026-07-01 | DELETE
AA-Med Pty Ltd | 01 - Ophthalmic | ZZ067 | PAUL® Glaucoma Implant | Micro-sized tubed aqueous shunt glaucoma drainage device | Length 44.9mm Width 23mm Extraocular plate surface area of 342.1mm² | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 02 - Ear, Nose & Throat | MC919 | Middle Ear Prosthesis | Malleus | 0.6 - 4.0mm x 2.7 - 5.0mm x 1.5 - 10.0mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 02 - Ear, Nose & Throat | MC269 | Medtronic Vent Tubes | Activent Antimicrobial Ventilation Tube | 1.02 - 1.27mm x 0.9 - 2.4mm | 2026-07-01 | DELETE
ATOS MEDICAL PTY LIMITED | 02 - Ear, Nose & Throat | BQ007 | ProTrach DualCare Set | ProTrach DualCare is attached to a tracheostomy tube and is designed to eliminate the necessity of finger occlusion, enabling the tracheostomised patient to speak easily and more clearly. It combines a speaking valve with an HME, and this way both enabling hands-free speech and helping to keep the lungs healthy by providing the important humidification of the inhaled air. The Set includes: 180pc HME Regular, 1pc Speaking Valve, 1pc ProTrach HME DigiTop, 1 Removal Aid and 1 connection strap. | 15mm 22mm | 2026-07-01 | DELETE
ATOS MEDICAL PTY LIMITED | 02 - Ear, Nose & Throat | BQ008 | ProTrach DualCare Speaking Valve | ProTrach DualCare System is attached to a tracheostomy tube and is designed to eliminate the necessity of finger occlusion, enabling the tracheostomised patient to speak easily and more clearly. It combines a speaking valve with a HME and in this way enabling speaking and supporing your lungs with important heating and moisturising. The Set includes: 1pc Speaking Valve, 1pc ProTrach HME DigiTop, 1 Removal Aid and 1 connection strap.ProTrach DualCare Speaking Valve, 1 HME DigiTop, 1 removal aid and 1pc Connection Strap | 15mm 22mm | 2026-07-01 | DELETE
ATOS MEDICAL PTY LIMITED | 02 - Ear, Nose & Throat | BQ010 | Tracheal Speaking Valve | Provox a) Two b) Vega c) Vega Puncture Set | a) 4.5, 6, 8, 10, 12.5, 15mm b) 17, 20, 22.5fr in 4, 6, 8, 10, 12.5, 15mm c) 17, 20, 22.5fr in 4, 6, 8, 10, 12.5, 15mm | 2026-07-01 | DELETE
MERIT MEDICAL AUSTRALIA PTY LTD | 03 - General Miscellaneous | OW004 | AERO®, AERO DV® and AEROmini® | Trachobronchial Stent | 6-20mm stent diameter, stent length 10-80mm | 2026-07-01 | DELETE
VIDERA SURGICAL & DIAGNOSTICS PTY LTD | 03 - General Miscellaneous | YI002 | 4D Mesh | 4D Mesh, semi absorbable bio mesh for abdominal reinforcement inguinal, femoral, and incisional hernias | 10.5x14cm, 11x14cm, 12x15cm, 12x8cm | 2026-07-01 | DELETE
VIDERA SURGICAL & DIAGNOSTICS PTY LTD | 03 - General Miscellaneous | YI001 | 4D Mesh | 4D Mesh, Semi resorbable bio mesh for abdominal reinforcement inguinal, femoral and incisional hernias. | 12x17cm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 04 - Neurosurgical | LH119 | Aneurism Clip - T2 | Sugita Clips, Titanium2. Slim, mini, curved and L-shape. | One Size Each | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 04 - Neurosurgical | LH147 | Aneurism Clip - T2 | Sugita Clips, Titanium 2. L-shape, bayoneted, slightly curved, curved. | One Size Each | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 04 - Neurosurgical | LH148 | Aneurism Clip - T2 | Sugita Clips, Titanium 2. Mini, temp, straight. | One Size Each | 2026-07-01 | DELETE
AA-Med Pty Ltd | 04 - Neurosurgical | ZZ109 | ACCLINO Flex Plus Stent | Acclino Flex Plus Stent is a self-expanding lasercut Nitinol stent for aneurysm neck bridging in case of stent assisted coiling procedures. It is intended for use with embolisation materials for the treatment of intracranial aneurysms. It provides an increased range and is suitable for vessel diameters from 1.5 to 7.0 mm. For an easy handling all sizes from 3.0 - 6.5 mm are deliverable through microcatheters with 0.0165 - 0.021 ID. This allows a sequential stent and coil placement without the changing of the microcatheter. The 8.0 mm diameter devices are deliverable through microcatheters with 0.027 ID. | Diameter: 3.0 - 8.0mm Length: 15 - 60 mm | 2026-07-01 | DELETE
AA-Med Pty Ltd | 04 - Neurosurgical | ZZ110 | ACCERO Stent | ACCERO Stent is a highly visible,braided self-expanding stent with BlueXide® surface technology.The self-expanding braided stent is characterised by an excellent opening behaviour, superior wall apposition and a very smooth surface. It is intended for use with embolization materials in the treatment of intracranial aneurysms. Accero’s full range of sizes can be delivered through a small 0.0170” microcatheter and can be resheathed up to 95%. | Stent Diameter (mm): 2.5, 3.0, 3.5,4.0, 4.5 Stent Length (mm): 10, 15, 20, 25 | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 05 - Urogenital | JJ070 | GYNECARE TVT™: Device Tension Free Vaginal Tape / EXACT™ Continence System | Female stress urinary incontinence surgical mesh | Tape - 133 mm (W) x 190 mm (H); EXACT™ - Flat:460 mm (W) x 546 mm (H) | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 05 - Urogenital | JJ442 | GYNECARE TVT™ Obturator System | Female stress urinary incontinence surgical mesh | 461.86 mm X 548.96 mm | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 05 - Urogenital | MN039 | GYNECARE TVT™ ABBREVO™ Continence System | Female stress urinary incontinence surgical mesh | 459.91 mm X 545.9 mm | 2026-07-01 | DELETE
BARD AUSTRALIA PTY. LIMITED | 05 - Urogenital | BA309 | InLay Optima® Ureteral Stent | The ureteral stent is intended to relieve obstruction in a variety of benign, malignant and post-traumatic conditions in the ureter in order to pass fluids to or from the ureter. | 4.7Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm 6Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm 7Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm 8Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm | 2026-07-01 | DELETE
BARD AUSTRALIA PTY. LIMITED | 05 - Urogenital | BA044 | Ureteral Stent | Hydrophilic coated ureteral stent | Fr 4.7 – 8.0, Length 22-32cm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 05 - Urogenital | MC755 | InterStim II Neurostimulator | Model 3058 neurostimulator | Weight 22g | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 05 - Urogenital | MC756 | InterStim iCON Patient Programmer | Hand held device Model 3037 to be used with implantable neurostimulation devices | One size only | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK629 | STAR Ankle Prosthesis | Revision Tibial Component, Cemented | Extra small - Extra large | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK604 | Elektra Cup | Cobalt Chromium and Hydroxyapatite coating | One size only | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW704 | Wright Swanson Titanium Carpal Scaphoid, Carpal Lunate, Basal Thumb Implant | The Swanson Basal Thumb implant is a one-piece intramedullary-stemmed implant designed to be used as an adjunct to resection arthroplasty of the trapeziometacarpal joint. It acts as a spacer to preserve joint relationship and allow appropriate capsulolig | 1 to 5 - length 19.3 to 26.3mm, width 9.5 to 13.6mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK598 | MCP Finger Prosthesis "Ariadna" | Proximal part, Stainless Steel | 1,2,or 3 | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK595 | MCP Finger Prosthesis "Ariadna" | Distal part, Stainless Steel | 1,2 or3 | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | JJ970 | Global Shoulder System | CTA humeral head; Advantage, AP | Sizes 44-56mm | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY416 | AO/ASIF Intramedullary Nails ASLS | Intramedullary Angular Stable Locking System | 4-6mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH367 | Fassier-Duval Telescopic IM System Component: Male | The Fassier-Dual Telescopic IM System is an endomedular nail designed for patients suffering from Osteogenesis Impecfecta (OI), Skeletal Displasia, Congenital Tibial Pseudoarthrosis, Limb lengthening over nail, Segmental Tumour removal and other bone deformities | The system is composed of a total of 108 rods in 9 different diameters per type. The nail is manufactured in both Ti alloy (Ti6A14V ASTM-136) and medical grade Stainless Steel (315L, ASTM 138). It is available in five diameters: 3.2, 4,4.8,5.6 and 6.4 mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH368 | Fassier-Duval Telescopic IM System Component: Female | The Fassier-Duval Telescopic IM System is an endomedular nail designed for patients suffering from Osteogenesis Imperfecta (OI), Skeletal Displasia, Congenital Tibial Pseudoarthrosis, Limb lengthening over nail, Segmental Tumor removal and other bone defo | The system is composed of a total of 108 rods in 9 different diameters per type. The nail is manufactured in both Ti alloy (Ti6A14V ASTM-136) and medical grade stainless steel (316L, ASTM 138). It is available in five diameters: 3.2,4.4,8,5.6 and 6.4mm; | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW931 | 611 Ankle Fusion Nail - Component: PLUGS | The 611 ankle arthrodesis nail, 2mm & 7mm plugs are made out of titanium alloy (Ti6AI4V). They are delivered non-sterile | 0mm - 7.5mm | 2026-07-01 | DELETE
ARTHREX AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HU164 | Low Profile MTP Plate | Athrodesis Plate - 6 hole plates | Contoured small left,contoured small right, contoured standard right,contoured standard left | 2026-07-01 | DELETE
ARTHREX AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HU171 | MTP Plate, Straight | Metatarso-Phalangeal Fusion plate for 1st MTP | Small and Standard, ≤ 6 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL125 | Smith & Nephew Plate and Screw System- EVOS | Small Fragment Plate | ≤ 6 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL130 | Smith & Nephew Plate and Screw System- EVOS | Small Fragment Plate | ≤ 6 holes | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW596 | Stryker Locked Plating System | Periarticular variable angle locking plate - clavicle | 7-15 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL126 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment Plate | ≥ 7 to ≤ 15 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL138 | Smith & Nephew Plate and Screw System- EVOS | Small Fragment plate | ≥ 7 to ≤ 15 holes | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW934 | MaxLock Extreme System - Small Complex VAL Plates >6 holes | Small complex variable angle lockig plates, Titanium, >6 holes | > 6 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL127 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment plate | ≥ 16 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL139 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment Plate | ≥ 16 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL133 | Smith & Nephew Plate and Screw System- EVOS | Small Fragment Plate | ≤ 6 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL136 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment Plate | ≤ 6 holes | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW829 | Biotech Easy Lock System | Easy Lock Plating System | Various | 2026-07-01 | DELETE
AUSTRALIAN PACIFIC MEDICAL PTY LTD | 06 - Specialist Orthopaedic | PB027 | Mini Locking System - Locking Plates ≥ 7 to ≤ 15 holes | Foot & hand plates - steel - titanium multiple hole | 2-2.7 mm, ≥ 7 to ≤ 15 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL137 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment Plate | ≥ 7 to ≤ 15 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL140 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment Plate | ≥ 7 to ≤ 15 holes | 2026-07-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 06 - Specialist Orthopaedic | SL141 | Smith & Nephew Plate and Screw System - EVOS | Small Fragment Plate | ≥ 16 holes | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW907 | MaxLock Extreme System - Clavicle Plates | Clavicle Variable angle locking plates, Titanium | 9 to 13 holes | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW913 | NexFix MTP Fusion System | A bendable stainless steel bone plate and screw system with unique low profile locking screw option. Indicated for use in primary MTP fusion | Left 2 + 3; Right 2 + 3 | 2026-07-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BH288 | ALPS-Anatomic Locked Plating system | Distal and Proximal Tibial Plates, Titanium | 16 - 25 holes | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW896 | MaxLock Extreme System - Medial Malleolous Plate | Medial malleolous variable angle locking plate, Titanium | 5 holes | 2026-07-01 | DELETE
NATON MEDICAL AUS PTY LTD | 06 - Specialist Orthopaedic | WU014 | FreedomScrew | Inion FreedomScrew is a strong and fully versatile bioabsorbable screw for orthopaedic fixations. Because of its unique manufacturing method and intelligent technical properties, Inion FreedomScrew offers many clear benefits for the operating surgeon who appreciates easiness, reliability and versatility of the implant. | 4.5mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW910 | MaxTorque Cannulated Screw System - Standard screws | Bone screws, Titanium, Cannulated, Short or Long Thread | Ø5.5mm Short Thread, Length 26-70mm Ø5.5mm Long Thread, Length 45-70mm Ø7.0mm Short thread, Length 40-130mm Ø7.0mm long Thread, Length 45-130mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW914 | NexFix 4.5MM Compression Screw | The NexFix Compression Screw is a stainless steel, cannulated, self tapping, and self drilling fixation device for osteotomies, fusions and fracture fixation of small bones | 4.5mm diameter x 14-40mm in 2mm increments, 40-65mm in 5mm increments, with short and long thread options | 2026-07-01 | DELETE
NATON MEDICAL AUS PTY LTD | 06 - Specialist Orthopaedic | WU013 | FreedomScrew | Inion FreedomScrew is a strong and fully versatile bioabsorbable screw for orthopaedic fixations. Because of its unique manufacturing method and intelligent technical properties, Inion FreedomScrew offers many clear benefits for the operating surgeon who appreciates easiness, reliability and versatility of the implant. | 3.5mm, 4.0mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW904 | MaxLock Extreme System - 3.5/4mm Non Locking Screws | Bone screws, Titanium, non locking | Ø 3.5mm, length 8-50mm Ø 4mm, length 8-60mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW905 | MaxLock Extreme System - 3.5mm locking screws | Bone screws, titanium, fixed or variable angle locking | Ø 3.5mm Fixed angle, Length 8-45mm Ø 3.5mm Variable angle, Length 10-50mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW909 | MaxTorque Cannulated Screw System - Small Screws | Bone screws, Titanium, Cannulated, Short or Long Thread | Ø3.2mm Short Thread, Length 12-30mm Ø3.2mm Long Thread, Length 12-38mm Ø3.8mm Short Thread,Length 16-50mm Ø4.0mm Long Thread, Length 14-50mm Ø4.0mm Long Thread, Length 24-50mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW932 | WAVE Calcaneal Fracture System - Locking Screw | The WAVE Calcaneal Fracture System is a low profile, anatomical plate and screw system designed for the minimally invasive fixation of the calcaneal fractures. The plate and associated locking and non-locking screws facilitate the reconstruction of the height and width of the calcaneus, and remodelling of the lateral calcaneal wall. The WAVE calcaneal System is provided non-sterile. The Locking Screw is used with the WAVE Calcaneal Fracture Plate | Screws: Diameter = 4.0mm, Length - 14-44 in 2mm increments | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK630 | SBi Locking Screws | Titanium Cortical Locking Self-tapping screws | 2.7mm Cortical Locking, Self-tapping 10 - 30mm 3.5mm Cortical, Locking, Self tapping 8 -20mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK631 | Sbi Non-Locking Screws | Titanium Cortical Non-Locking Self tapping screws | 2.7mm Cortical, Non Locking, Self-tapping 10 -30mm 2.7mm Lag, Non Locking, self tapping 10 -30mm 3.5mm Cortical, Non Locking,Self tapping 8 -20mm | 2026-07-01 | DELETE
NATON MEDICAL AUS PTY LTD | 06 - Specialist Orthopaedic | WU015 | FreedomScrew | Inion FreedomScrew is a strong and fully versatile bioabsorbable screw for orthopaedic fixations. Because of its unique manufacturing method and intelligent technical properties, Inion FreedomScrew offers many clear benefits for the operating surgeon who appreciates easiness, reliability and versatility of the implant. | 2.7mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW901 | Mini MaxLock Extreme System - 2.4/2.7mm Locking Screws | Bone screws, Titanium, fixed or variable angle locking | Ø2.4/2.7mm Fixed angle locking, Length 6-40mm Ø2.4mm Variable angle locking, Length 6-30mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW903 | MaxLock Extreme System - 2.4/2.7mm Non locking screws | Bone screws, Titanium, Non locking | Ø 2.4/2.7mm, length 6-40mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW908 | MaxTorque Cannulated Screw System - Mini Cannulated Screws | Bone screws, Titanium, Cannulated, Short or Long Thread | Ø2.5mm Short Thread, Length 18-30mm Ø2.5mm Long Thread, Length 10-30mm | 2026-07-01 | DELETE
NATON MEDICAL AUS PTY LTD | 06 - Specialist Orthopaedic | WU016 | FreedomScrew | Inion FreedomScrew is a strong and fully versatile bioabsorbable screw for orthopaedic fixations. Because of its unique manufacturing method and intelligent technical properties, Inion FreedomScrew offers many clear benefits for the operating surgeon who appreciates easiness, reliability and versatility of the implant. | 2mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW918 | NexFix Washer | The NexFix Washer is a threaded circular piece of stainless steel through which is inserted a NexFix Compression Screw. The Compression Screw is locked to the washer to form a headed screw that will increase bone coverage and prevent the screw from sinking | 9mm, 11mm, 13mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK154 | Stryker Cross-Screw | HA/PLLA screw for ligament/tendon fixation | Dia 6mm: Length 40-60mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK230 | Hansson Pin | Cephalic Implants | Hansson Pin 70-140mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK614 | M-Fix | Nitinol | 10-19mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK621 | StaFIX | The StaFIX Staples are retained implants and removable used primarily for the following applications: Synthesis of fractures; Synthesis of osteotomies; Arthrodesis; Reattachment of ligaments ot tendons. The aim of the StaFIX staple is to provide a effective fixation of the bone fragments during healing. | 6x6, 6x12,8x8, 8x16, 10x10, 10x20, 12x24 | 2026-07-01 | DELETE
AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | 06 - Specialist Orthopaedic | DZ080 | PEEK Suture Anchor | PEEK Suture Anchor | 1.5mm, 2.3mm | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY417 | Titanium Wire, Barb and Needle | Titanium wire surture and needle with titanium alloy barb fixation | One size only | 2026-07-01 | DELETE
AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | 06 - Specialist Orthopaedic | DZ081 | PEEK Suture Anchor | PEEK Suture Anchor | 2.9mm, 3.5mm | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | JJ961 | BioIntrafix | Tibial soft tissue fastner screw/sheath | 6-8mm-7-10mm x 30mm; Small and Large | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH918 | Orthofix External Fixation System Elbow Fixator | Anodised aluminium and stainless steel | One size only | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST971 | TenXor External Fixation System | Anodized metal alloy, with sliding clamp | One size only | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST972 | TenXor External Fixation System | Anodized metal alloy,with sliding clamp and spacer | One size only | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST962 | Monotube External Fixation System | Carbon tube yellow 015, RL | 15mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST963 | Monotube External Fixation System | Carbon tube blue 015, RL | 150, 200, 250, 300mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST964 | Monotube External Fixation System | Carbon tube red 015, RL | 150, 200, 250, 300mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH557 | IOS Fixator Kit | Complete kit of fixator, 6x bone pins, 6 x set screws, 6 x collets, drill bit. | long, short | 2026-07-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZA019 | Refobacin Plus Bone Cemen | Bone Cement, Methyl methacrylate, Gentamicin | 20-80gm | 2026-07-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI937 | Optipac | Refobacin Plus, Prefilled Vaccum Mixing System, Gentamicin Sulphate, PMMA Cement | 40-80 gram | 2026-07-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 06 - Specialist Orthopaedic | DE655 | NovaBone BioGlass | Bioactive synthetic bone graft - calcium phospo-silicate | 0.25 - 5cc | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH560 | JectOS | Injectable synthetic bone graft substitute | 5cc | 2026-07-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 06 - Specialist Orthopaedic | DE656 | NovaBone BioGlass | Bioactive synthetic bone graft - calcium phospho-silicate | 8cc-10cc | 2026-07-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 06 - Specialist Orthopaedic | DE657 | NovaBone BioGlass | Bioactive synthetic bone graft - calcium phospho-silicate | 15cc | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK469 | VITOSS Foam - Compression Resistant Synthetic Cancellous Bone Void Filler | Highly porous bone graft material made from beta-tricalcium phosphate (β-TCP) and Type I bovine collagen. | 20cc Foam strip (25x100x8) | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK475 | VITOSS Foam - Compression Resistant Synthetic Cancellous Bone Void Filler. | Highly porous bone graft material made from beta-tricalcium phosphate (β-TCP) and Type I bovine collagen. | Sheet (Wide Strip) 75x100x4mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW256 | HMRS Oncology Humeral Stem | Cobalt Chromium | 7x75mm, 7x115mm, 9x75mm, 9x115mm, 11x115mm, 25mmx75mm, 25mmx100mm, 50mmx75mm, 50mmx100mm,75mmx100mm, 100mmx50mm | 2026-07-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW619 | METS Humeral Component for use with Hemi Head | Titanium humeral component | Small and standard | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC889 | TiMesh | Square-rectangular Gridmesh Panel | 11 to 25 cm2 area | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC914 | TiMesh Titanium Rigid Fixation Bone Grafting and Plating System | FlexMesh 1.5mm System. Composition: Titanium | 26 to 50 cm2 area; 0.3mm thick | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC524 | TiMesh | Isogrid Panel | One size only | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC525 | TiMesh | Sugar Mesh Panel / Grid | 11 x 7.5cm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC890 | TiMesh | Square-rectangular Gridmesh Panel | 51 to 100 cm2 area | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MI084 | TiMesh Rigid Fixation Bone Grafting and Plating System | FlexMesh 1.0 - 1.5mm system. Composition: Titanium | 51 to 100cm² area, 0.3mm thickness | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC387 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Square Grid Mesh | Large | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC389 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Square Grid Mesh | Small | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC915 | TiMesh Titanium Rigid Fixation Bone Grafting and Plating System | FlexMesh 1.5mm System. Composition: Titanium | 26 to 50 cm2 area; 0.6mm thick | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC877 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Mesh | 51 to 100 cm2 area, 0.6mm thickness | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MI085 | TiMesh Rigid Fixation Bone Grafting and Plating System | FlexMesh 1.0 - 2.2mm system. Composition : Titanium | 51 to 100cm² area, 0.6mm thickness | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MI083 | TiMesh Titanium rigid Fixation Bone Grafting and Plating System | FlexMesh 1.5mm - 2.2mm system. Composition: Titanium | 148 - 154mm x 148 - 154mm, 0.6mm | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ007 | Anatomics Fixation Straight Plates | Titanium fixation straight plates | 2 Holes Thickness - 0.6mm Length - 15mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH502 | Martin Osteosynthesis 1.5mm System 2 hole plate | Plate, 0.6mm thick, titanium | 2-4 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC872 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Straight Plate | < 4 holes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC908 | Timesh | Rigid Straight Plates | < 4 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ081 | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 4-7 holes | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ003 | Anatomics Burr Hole Plates | Titanium burr hole plate | Thickness - 0.6mm Diameter - 18-22mm | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ006 | Anatomics Fixation Double-Y Plates | Titanium craniofacial fixation plates | 6 Holes Thickness - 0.6mm Length - 17mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC393 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Z Plate Left and Right | 4 hole - 5mm, 9.5mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC519 | TiMesh | Squareplate | 4 holes x 1mm - 4 holes x 2.2mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC520 | TiMesh | X Plate | 4 holes x 1mm - 4 holes x 2.2mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC576 | Timesh | Double Y Plates | 3 Hole - 2.5mm - 7mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC868 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Plate | Fan Blade 11-18mm, Mesh 11-25mm, 4 - 7 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC870 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Y Plate Double and Single | 4 - 7 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC875 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, T Plate | 4 - 7 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC883 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, L Plate (Left and right configurations) | 4 to 7 holes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC885 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, H Plate | 4 - 7 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC909 | Timesh | Rigid Straight Plates | 4 - 7 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ082 | Materialise Standard+ Solutions - Plates | Titanium plate, Complex shape | 0.5-0.99mm thick, 8-32 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ083 | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 8-32 holes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC678 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Universal Plate | 12h | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC871 | Ti Mesh Rigid Fixation Bone Grafting and Plating System | Titanium ,Straight Plate | 8 - 32 holes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC876 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, T Plate | 8 - 15 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC884 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, L Plate (Left and right configurations) | 8 - 15 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC886 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, H Plate | 8-15 hole | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MI091 | TiMesh | Rigid Straight Plate | 8 -32 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ084 | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, &lt;4 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ085 | Materialise Standard+ Solutions - Plates | Titanium plate, S-shape | 1.0-1.99mm thick, 4-7 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ086 | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 4-7 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ087 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 4-7 holes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC517 | TiMesh | Mandibular "J" Plate | One size only | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ088 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 8-15 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ089 | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 8-15 holes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC522 | TiMesh | Curved Plate: Standard, Rigid, Left, Right | 1mm x 12 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ102 | Materialise Standard+ Solutions - Plates | Titanium Plate, Locking | 1.0mm-1.99mm thick, 16-32 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ090 | Materialise Standard+ Solutions - Plates | Titanium plate | 2.0-2.99mm thick, 4-7 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ091 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 8-15 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ092 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 16-32 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ093 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking, Complex Shape | 2.0-2.99mm thick, >32 holes | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ094 | Materialise Standard+ Solutions - Screws | Titanium Screw, Locking | Diameter 1.25-3.24mm | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ095 | Materialise Standard+ Solutions - Screws | Titanium Screw | Diameter 1.25-3.24mm | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ002 | Anatomics Bone Screws | Titanium bone screws for patient specific implants | Diameter - 1.6-2.0 mm Length - 5mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC571 | Timesh | 12 Point Screws | 3 - 20mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MI527 | Timesh - Screws | Self-Drilling and Rescue Screws | Diameter: 1.6mm - 1.8mm Length: 3.0mm - 5.0mm | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ096 | Materialise PorousiTi - Cranium | Patient specific Titanium 3D printed implant for cranial reconstruction | Personalized so the size is variable | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ004 | Anatomics Cranial Patient Specific Implant - One Piece | Cranial patient specific implant constructed of Titanium, Acrylic or Porous Polyethylene | Custom | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ005 | Anatomics Cranial Patient Specific Implant - Two Piece | Patient Specific Cranial Implant constructed of Titanium, Acrylic or Porous Polyethylene | Custom | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC625 | Modified Dual TiMesh | TiMesh Surgical Mesh Modified, includes two cranial plates. Composition: Titanium | 121mm x 77mm - 152mm x 152mm. | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ014 | Anatomics Surgical Guide | Biomodelled surgical guides to support surgical decision making both pre and intra-operatively | The device is custom made so the size will vary | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ009 | Anatomics Patient Specific Malar Implant | A customised patient specific implant constucted of porous polyethelene | The device is customised so sizes will vary | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ097 | Materialise PorousiTi - Mandible | Patient specific Titanium 3D printed implant for mandible | Personalized so the size is variable | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC513 | TiMesh | Full Mandible | One size only | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ098 | Materialise Titanium 3D Printed Plates | Patient specific Titanium 3D printed plates for maxillofacial applications | Personalized so the size is variable | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC512 | TiMesh | Maxillary Prosthesis | One size only | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC515 | TiMesh | Hemimandible, Left/Right | One size only | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC516 | TiMesh | Mandibular Symphysis | One size only | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ108 | Materialise Titanium 3D Printed Guides | Patient specific maxillofacial guides for specific use with Materialise peronalised implants and plates included in rebate codes ZZ096, ZZ097, ZZ098, ZZ099, ZZ100, ZZ101, and standard plates and screws ZZ081, ZZ082, ZZ083, ZZ084, ZZ085, ZZ086, ZZ087, ZZ088, ZZ089, ZZ090, ZZ091, Z092, ZZ093, ZZ094, ZZ095 and ZZ102 | Custom | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ008 | Anatomics Patient Specifc Surgical Guide | Patient specific surgical guide created from patient CT scan data, used to assist surgeons to implant the device by assisting in clinical decision making both pre- and intraoperatively | The device is custom made so the size will vary. | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ099 | Materialise PorousiTi - Maxilla | Patient specific Titanium 3D printed implant for maxilla | Personalized so the size is variable | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ010 | Anatomics Patient Specific Mandible | Custom mandible implant constructed of porous polyethylene | The device is custom made so the size will vary. | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 07 - Plastic and Reconstructive | MC521 | TiMesh | Naso-Orbital-Ethmoid | 1mm - 2.2mm; Complex 1, Complex 2, Complex 3 | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ100 | Materialise Titanium 3D Printed Plates - Zygoma | Patient specific Titanium 3D printed plates for zygoma reconstruction | Personalized so the size is variable | 2026-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ101 | Materialise PorousiTi - Orbital | Patient specific Titanium 3D printed implant for orbital reconstruction | Personalized so the size is variable | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ011 | Anatomics Patient Specific Orbital Floor Implant | A custom, patient specific implant intended for the reconstruction of the patient's orbital floor manufactured with titanium or porous polyethylene. | The device is custom made so the size will vary. | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ012 | Anatomics Patient Specific Orbital Rim | Custom, 3D-printed orbital rim constructed of porous polyethylene. | The device is custom made so the size will vary. | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ013 | Anatomics Patient Specific Surgical Guide | The Surgical Guide component of the system is created from the patient's CT scan data to assist the surgeon with pre- and intraoperative planning. | The device is custom made so the size will vary. | 2026-07-01 | DELETE
ANATOMICSRX PTY LTD | 07 - Plastic and Reconstructive | QQ001 | Anatomics Biomodel | A patient-specific, 3D printed biomodel intended to assist the surgeon during pre- and intraoperative procedural planning. | The device is custom made so the size will vary. | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH725 | Motiva Ergonomix Implant Matrix, SilkSurface with Qid | Sterile Silicone Breast Implants Motiva Implant Matrix Ergonomix, SilkSurface with Qid - Prosthesis, internal, mammary, gel filled | 105cc to 500cc | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH728 | Motiva, Matrix Silk Surface PLUS with QID | Sterile Silicone Breast Implants Motiva Implant Matrix SilkSurface PLUS with Qid - Prosthesis, internal, mammary,gel filled | 105cc to 500cc | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH729 | MOTIVA IMPLANTS ANATOMICAL TRUEFIXATION | Sterile Silicone Breast Implants. Gel filled, pre-shaped. | 250- 495 cc | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH727 | Motiva Ergonomix Implant Matrix, SilkSurface with QID | Sterile Silicone Breast Implants, Motiva Ergonomix Matrix, SilkSurface PLUS with QID - prostheses, Internal, Mammary, gel filled | 500cc TO 775cc | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH730 | MOTIVA IMPLANTS ANATOMICAL TRUEFIXATION | Sterile Silicone Breast Implants. Gel filled, pre-shaped. | 500-600 cc | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | LH731 | Motiva, Matrix Silk Surface PLUS with QID | Sterile Silicone Breast Implants, Motiva Matrix, SilkSurface PLUS with QID - prostheses, Internal, Mammary, gel filled | 500cc TO 1050cc | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 08 - Cardiac | BT242 | Enitra 8 DR-T | Dual Chamber Pacemaker, ventricular capture control, physiological rate adaption,automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI AutoDetect, MRI conditional, IS-1 connector | 11 cm3/ 23.2 g 48 mm × 44 mm × 6.5 mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 08 - Cardiac | BT241 | Enitra 8 HF-T QP | Triple Chamber CRT-Pacemaker, capture management all chambers, physiological rate adaption, quadripolar LV pacing, atrial overdrive pacing, event triggered IEMG transmission, Wandless telemetry, Home Monitoring, MRI AutoDetect, MRI conditional, IS-4 IS-1 connectors | 15 cm3/ 31.2g 53 mm × 53 mm × 6.5 mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 08 - Cardiac | BT243 | Enitra 8 HF-T | Triple Chamber CRT Pacemaker, capture management all chambers, physiological rate adaption, atrial overdrive pacing, event triggered IEMG transmission, Wandless telemetry, Home Monitoring, MRI AutoDetect, MRI conditional, IS-1 connector | 14 cm3/ 26.9g 53 mm × 52 mm × 6.5 mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 08 - Cardiac | BT178 | Orsiro | Sirolimus Coronary Artery Stent, Drug Eluting Co/Cr Alloy coated in PLLA | Stent diameters ø 2.25 -4.0mm Lengths: 9-40mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 08 - Cardiac | BT254 | ORSIRO Mission | Sirolimus Coronary Artery Stent, Drug Eluting Co/Cr Alloy coated in PLLA | Stent diameters ø 2.25 - 4.0mm Lengths: 9-40mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 08 - Cardiac | BT220 | PK Papyrus Covered Coronary Stent System | Highly flexible, low profile , polyurethane/CoCr Covered Coronary Stent System | Length – 15,20,26mm Diameter – 5F:2.5,3,3.5,4mm 6F:4.5,5mm | 2026-07-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ453 | MitraClip System | Steerable Guide Catheter, Clip Delivery System (Delivery Catheter, Steerable sleeve and the MitraClip Implant) | NTR MitraClip Implant: 15-17 mm XTR MitraClip Implant: 18-22 mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 10 - Vascular | BT249 | Dynetic-35 Peripheral Balloon-Expandable Stent System | Dynetic-35 is a balloon-expandable cobalt chromium alloy (L-605) stent pre-mounted on an over-the-wire PTA balloon catheter delivery system. | Diameter: 5-10mm; Length: 18-78mm; Catheter length: 90-170 cm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 10 - Vascular | BT126 | Pulsar 18 Peripheral self expanding Nitinol stent system | Pulsar 18 self expanding Nitinol stent system | Stent: Ø 4- 7mm length: 20-120mm Catheter length: 90-135mm | 2026-07-01 | DELETE
BIOTRONIK AUSTRALIA PTY LIMITED | 10 - Vascular | BT127 | Pulsar 18 Peripheral self expanding Nitinol stent system | Pulsar 18 self expanding Nitinol stent system | Stent: 4-7mm Stent length: 150-200mm Catheter length: 90-135mm | 2026-07-01 | DELETE
All Vascular Pty Ltd | 10 - Vascular | VA001 | Venous Valve Ring | Dacron/silicone variable diameter ring | 52mmx15mmx0.09 mm | 2026-07-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 10 - Vascular | SJ268 | Amplatzer Vascular Plug III | AVP III is a self-expanding, Nitinol mesh occlusion device. | Size: (mm): 4, 6, 8, 10, 10, 12, 12, 14, 14 Long Axis (mm): 4, 6, 8, 10, 10, 12, 12, 14, 14 Length (mm): 6.5 | 2026-07-01 | DELETE
ADVITA ORTHO AUS PTY LTD | 11 - Hip | EX022 | Exactech Femoral Head | Cobalt Chrome Head | -3.5mm to +10mm, 22mm to 32mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH434 | Samo acetabular cup femoral head | CoCr femoral head | S, M, L and XL | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH433 | Samo acetabular cup ceramic head | Ceramic femoral head | S, M, L, and XL | 2026-07-01 | DELETE
ADVITA ORTHO AUS PTY LTD | 11 - Hip | FA002 | Ceramic modular head | Biolox Delta Ceramic heads 32mm or less | 28 and 32mm | 2026-07-01 | DELETE
ADVITA ORTHO AUS PTY LTD | 11 - Hip | FA024 | Exactech Femoral Head CoCr | Cobalt Chrome Femoral Head | 36mm, -3.5mm to +10mm | 2026-07-01 | DELETE
ADVITA ORTHO AUS PTY LTD | 11 - Hip | FA004 | Ceramic Modular head | Biolox Delta Ceramic heads > 32mm | 36, 40 and 44mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH436 | Samo Acetabular Cup | Acetabular cup | 40 - 70 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH435 | Samo acetabular cup poly insert | X linked poly insert | 22 - 36 | 2026-07-01 | DELETE
ADVITA ORTHO AUS PTY LTD | 11 - Hip | FA006 | Xonit X-PE Acetabular Liner | Highly Cross-Linked Acetabular Insert | Standard/Dysplasia: 39-52mm/28mm 39-52mm/32mm 44-52mm/36mm 48-52mm/40mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH437 | Samo acetabular cup ceramic insert | Ceramic insert | 28 - 40 | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 11 - Hip | LH682 | ACCIS Insert (15 degrees) | ACCIS liner (15 degrees) for use with MUTARS RS and LUMIC Cup | 38/39, 42/44, 46/48, 50/52mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 11 - Hip | LH623 | IC Polaric head | IC Polaric head | 38, 40, 42, 44, 46, 48, 50, 52, 54, 56, 58 | 2026-07-01 | DELETE
ADVITA ORTHO AUS PTY LTD | 11 - Hip | FA005 | Biolox Delta Acetabular Liner | Biolox Delta ceramic acetabular liner | 28mm, 32mm, 36mm, 40mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH431 | Samo Revision Hip System acetabular | Acetabular reinforcement ring with hook | 44 - 64 mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH432 | Samo Revision Hip System acetabular | Acetabular reinforcement ring | 44 - 64 mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 11 - Hip | OH438 | Samo Acetabular Cup bone screw | Bone screw | 20 - 40 mm | 2026-07-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 12 - Knee | AE039 | Active Knee Femoral Component | Femoral Component, Cemented, CoCr | Sizes 00 - 5 Left & Right | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH553 | Trekking Knee System, Femoral Component - CR | Femoral Component - CR | Shape: Left and Right Width (mm): 59 - 79 Width (mm): Depth 53-73 Size: T1L - T5L Size: T1R - T5R | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH419 | Trekking Knee System: TCK Revision Femoral Component PS | Femoral Component Revision - PS | Size: T1R - T5R Size: T1L - T5L Shape: Left and Right Width (mm): 59 - 79 Width (mm): Depth 53-73 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH552 | Trekking Knee System, Femoral Component - PS | Femoral Component - PS | Size: T1R - T5R Size: T1L - T5L Width (mm): 59 - 79 Width (mm) Depth 53-73 Shape: Left and Right | 2026-07-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 12 - Knee | AE041 | Active Knee Femoral Component | Femoral Component, uncemented, distally beaded with HA | Sizes 00 -- 5 Left & Right | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH550 | Trekking Knee System - Femoral Component - CR | Femoral Component Uncemented - CR | Size: T1R - T5R Size: T1L - T5L Shape: Left and Right Width (mm) - Depth 53-73 Width (mm) - 59-79 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH551 | Trekking Knee System - Femoral Component PS | Femoral Component PS | Shape: Left and Right Width (mm): Depth 53-73 Width (mm): 59-79 Size: T1L - T5L Size: T1R - T5R | 2026-07-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 12 - Knee | AE040 | Active Knee Tibial Baseplate | Tibial baseplate, Cemented, CoCr | Sizes 1-5 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH417 | Trekking Knee System - TCK Tibial Component Revision | Revision Tibial Component | Size: T1-T5 Width (mm) Depth: 42 - 57 Width (mm) 64 - 86 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH425 | Trekking Knee System, Tibial Component | Tibial Component Cemented | Size: T1 - T5 Width (mm): Depth 42-57 Width (mm): 64 - 86 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH422 | Trekking Knee System, Tibial Component MB Cemented | Tibial Component MB Cemented | Size: T1 - T5 Width (mm): 64 - 86 Width (mm): Depth 42 - 57 | 2026-07-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 12 - Knee | AE099 | Active Knee Tibial Baseplate | Tibial Baseplate, HA, uncemented, beaded, stemmed , CoCr | Sizes 1 to 5 (A-Narrow & B-Wide) | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH426 | Trekking Knee System, tibial component | Tibial component uncemented | 1 - 5 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH421 | Trekking Knee System, Mobile Bearing Tibial Component | Mobile Bearing Tibial Component | Size: T1 - T5 Width (mm) Depth: 42-57 Width (mm): 64 - 86 | 2026-07-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 12 - Knee | AE251 | Active Knee Tibial Insert | Tibial Insert, UHMWPE | Sizes 1 - 5 Thickness 6 - 17.5mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH548 | Trekking Knee System - Tibial Insert - CR | Tibial Insert - CR | Size: T1 - T5 Thickness: -0 - +13 | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 12 - Knee | JJ508 | PFC Sigma Knee System tibial insert | Tibial insert, UHMWPE, moderately cross linked, with peg | Sizes 1 - 6. 8-30mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH420 | Trekking Knee System, Tibial Insert | Tibial Insert | Size: T1 - T5 Thickness: +0 - +7 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH549 | Trekking Knee System, Tibial Insert - PS | Tibial Insert - PS | Size: T1 - T5 Thickness: +0 - +13 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH415 | Samo TCK Revision Knee System | TCK poly insert | 1-5,6-19mm | 2026-07-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 12 - Knee | AE050 | Active Knee Patella | Patella, cemented, UHMWPE | Sizes 1 - 5 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH423 | Trekking Knee System, Patella Component | Patella Component | Size: 1, 2, 3 Diam (mm): 30, 35, 40 | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH416 | Trekking Knee System - TCK Revision Tibial and Femoral Augments | TCK Revision Tibial and Femoral Augments (Knee Wedge) | Size: T1 - T5 Size: 5mm - 10mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH414 | Trekking Knee System - TCK Femoral and Tibial Offsets | TCK Femoral, Tibial Offset Adaptors | Size (mm): 2, 4, 6 Offsets: Straight, Posterior, Lateral, Medial | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 12 - Knee | DP255 | SROM Noiles Knee System bumper and hinge bearing replacements | Replacements for UHMWPE axis bearings and bumpers, for hinged prosthesis | Sizes xxsmall - medium. | 2026-07-01 | DELETE
Orthotech Pty Ltd | 12 - Knee | OH418 | Trekking Knee System - TCK Femoral and Tibial Stems | TCK Femoral and Tibial Stems | Size (mm): 10 - 23 Size (mm): 40 - 120 | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW084 | Vitality Spine System - Monoaxial Pedicle Screws | Monoaxial pedicle Screws Titanium | Diameter = 4.0mm-7.5mm Length= 20mm-55mm | 2026-07-01 | DELETE
RTI Surgical Australia Pty Ltd | 13 - Spinal | RI039 | HPS™ Monoaxial Pedicle Screw | Monaxial pedicle screw | Diameter: 5-8mm Length: 30-60mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW086 | Vitality Spine System - Polyaxial Pedicle Screws | Polyaxial Pedicle Screws Titanium | Diameter = 4.0mm-10.5mm Length= 20mm-120mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI467 | Cannulated Polyaxial Pedicle Screw | Cannulated Polyaxial Pedicle Screw | All sizes | 2026-07-01 | DELETE
RTI Surgical Australia Pty Ltd | 13 - Spinal | RI034 | HPS™ Polyaxial Screws | Polyaxial cannulated pedicle screws. | Diameter: 5-9mm Length: 30-60mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW078 | Anterior Cervical Plate System | Titanium Cancellous Bone Screw | 4 - 20mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW079 | Timberline Lateral Fusion System | Bone Screws | 30-60mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH758 | Silex Bone Screw | Dual-Thread Sacroiliac Locking Screw | 7mm x 30-70mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI477 | Occipital Plate Screws | Occipital Plate Screws | All sizes | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW089 | Vitality Spine System - Set Screw | SET SCREW | One size only | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW080 | Timberline Lateral Fusion System | Cover Plate | 2 and 4 hole | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW092 | Vitality Spine system - Rod Connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW094 | Vitality Spine System - Iliac Lateral Connector | Open and Closed Iliac Lateral Connector | 20mm - 50mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW095 | Vitality Spine System - Tandem rod connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW096 | Vitality Spine System - Fixed Cross Connector | Fixed length cross connector, titanium | 21mm X 5.5mm - 31mm X 5.5mm & 21mm Wide X 6.0mm - 31mm Wide X 6.0mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW099 | Vitality Spine System - Multi-Span Cross Connector | Adjustable length cross connector, titanium | 33-36mm Wide X 5.5mm - 70-90mm Wide X 6.0mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI473 | Laminar Hooks | Laminar Hooks | All sizes | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW081 | Timberline Lateral Fusion System | Lateral Plate | 6-16mm | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI476 | Occipital plates | Occipital plates | All sizes | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW072 | Vitality Spine System - Rods | Straight and contoured rods titanium and CoCR | 5.5 x 25mm - 5.5 x 510mm & 6 x 25mm - 6 x 510mm | 2026-07-01 | DELETE
EQUINOX MEDICAL PTY LTD | 13 - Spinal | GW103 | Vitalign S-Rods | S Rod / Titanium alloy and Cobalt Chrome | (5.5 - 6.0)mm diameter x (400-510)mm length, CoCr Ti Alloy | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI470 | Straight rods | Straight rods | All sizes | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI471 | Dual diameter rod | Dual diameter rod | All sizes | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH753 | Silex Sacroiliac Joint Fusion System | Washers for the Silex Sacroiliac Joint Fusion System | 11, 13 & 15mm | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH757 | Silex Washer | Silex Washer | 13mm | 2026-07-01 | DELETE
PRECISION SURGICAL PTY LTD | 13 - Spinal | QQ326 | Hexanium ACIF | Integrated ACDF Cage with screws for Integral Fixation | Cage Height 5mm-12mm, Small, Medium, Large Screw Length 10-16mm | 2026-07-01 | DELETE
RTI Surgical Australia Pty Ltd | 13 - Spinal | RI050 | Fortilink SA | Interbody fusion device with integrated locking mechanism and screws | Cage- Width (32-40)mm Length (25-29)mm Height (10-22)mm Screws- Diameter (4.5-5.5)mm Length (20-35)mm | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 13 - Spinal | MN247 | CONDUIT EIT ALIF Cage | Lumbar Cage with Titanium | 8-18mm heights | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 13 - Spinal | MN248 | CONDUIT EIT PLIF Cage | Lumbar Cage with Titanium | 7-16mm Heights | 2026-07-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 13 - Spinal | MN249 | CONDUIT EIT TLIF Cage | Titanium Lumbar Cage | 7-15mm heights | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MC673 | Verte-Stack | Perimeter Cage | Extra Small, Small, Medium, Large, Extra Large | 2026-07-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI508 | Fuse Spinal System - Cage | PLIF or TILF Vertebral Body Spacer | length (24.5mm), height (7-14mm), width (7-9.5mm) and lordosis (0-8ᵒ) | 2026-07-01 | DELETE
NUVASIVE (AUST/NZ) PTY LTD | 13 - Spinal | NV168 | Modulus ALIF | Integrated fixation lumbar fusion cage | 6-12mm X 34-42mm X 24-32mm | 2026-07-01 | DELETE
RTI Surgical Australia Pty Ltd | 13 - Spinal | RI046 | Fortilink®-A | Interbody fusion cage | Width: 32-40mm Length: 25-29mm Height: 8-22mm | 2026-07-01 | DELETE
RTI Surgical Australia Pty Ltd | 13 - Spinal | RI047 | Fortilink®-L | Lateral interbody fusion device | Width: 14-26mm Length: 40-60mm Height: 8-15mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 13 - Spinal | OH657 | HTS Leander Cervical Vertebral Body Replacement | Titanium alloy implant base bodies available in different heights for different defect heights | Diameter 11.5mm; Height 16mm - 55mm | 2026-07-01 | DELETE
Orthotech Pty Ltd | 13 - Spinal | OH658 | HTS Leander VBR Endplates | Titanium alloy Endplates available in different widths and angles for adaption to different vertebral body structures | Length 12-14mm; Width 14-16mm; Angle 2.5, 5, 7.5 degrees | 2026-07-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH759 | Silex Joint Fixation Device | Single-Thread Sacroiliac Anchor Implant or Dual-Thread Sacroiliac Anchor Implant | 12.5mm x 30-70mm | 2026-07-01 | DELETE