## Prescribed List
July 2026 Prescribed List - Part A New Items
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | LL012 | 239 | BAUSCH & LOMB (AUSTRALIA) PTY LTD | enVista Aspire EyeGility Model EC20A | The enVista Aspire IOL is an ultraviolet-absorbing, posterior chamber, hydrophobic acrylic IOL. It has a square posterior edge, and modified C haptics. The lenses can be folded for insertion into the eye. The EC20A system combines the IOL with the EyeGility inserter in a common packaging configuration, which allows for simple loading of the lens. | Overall diameter 12.5mm, optic body diameter 6.0mm. Dioptric powers ranging from +0.0 to +34D 0.0D in 0.5 Diopter increments. | 98915 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, t1 | LL014 | 530 | BAUSCH & LOMB (AUSTRALIA) PTY LTD | enVista Aspire Toric EyeGility Model ETC20A | The enVista Aspire IOL is an ultraviolet-absorbing, posterior chamber, hydrophobic acrylic IOL. It has a square posterior edge, and modified C haptics. The lenses can be folded for insertion into the eye. The EC20A system combines the IOL with the EyeGility inserter in a common packaging configuration, which allows for simple loading of the lens. | Overall diameter 12.5mm, optic body diameter 6.0mm. Dioptric sphere powers ranging from +6.0 to +34D in 0.5D increments, in cylinder powers of 0.90, 1.25, 1.50, 2.00, 2.50, 3.00, 3.50, 4.25, 5.00 and 5.75D | 98915 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification |  | IW011 | 214 | Beaver-Visitec International Australia Pty Ltd | ISOPURE SERENITY (PODS49P) | ISOPURE SERENITY (PODS49P) is a precision optical device made from a hydrophobic acrylic copolymer. This lens is intended for implantation in the capsular bag after opening of the capsule by capsulotomy and should replace the optical function of the cataractous natural crystalline lens. ISOPURE SERENITY as the enhanced monofocal IOL is intended to improve distant vision, potentially improve the depth of focus from far to intermediate vision and reduce the spectacle dependence as well. It has optics with an aspheric refractive polynomial design. The PODS49P device is a foldable intraocular lens with an open Double-C-loop (POD) design, 1-piece lens. | Overall diameter: 11.40 mm. Optic dimeter: 6.00 mm. Diopter: +10D to +30D (0.5D steps) and +31D to +35D (1D steps) | 363012 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification |  | IW012 | 214 | Beaver-Visitec International Australia Pty Ltd | ISOPURE SERENITY TORIC (PODST49P) | ISOPURE SERENITY TORIC (PODST49P) is a precision optical device made from a hydrophobic acrylic copolymer. This lens is intended for implantation in the capsular bag after opening of the capsule by capsulotomy and should replace the optical function of the cataractous natural crystalline lens. ISOPURE SERENITY TORIC, as the enhanced monofocal IOL, is intended to improve distant vision, potentially improve the depth of focus from far to intermediate vision and reduce the spectacle dependence as well. It has optics with an aspheric refractive polynomial design and a posterior toric optic which partly compensates for corneal astigmatism. | Overall diameter: 11.40 mm. Optic diameter: 6.00 mm. Diopter: +10D to +30D (0.5D steps) and +31D to +35D (1D steps) | 363012 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, vblf | DE870 | 221 | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Teleon ACUNEX Monofocal | One piece monofocal posterior chamber lens with aspherical surface and blue light filter | +10.0 to +30.0 | 328681 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, pl | LL011 | 635 | BAUSCH & LOMB (AUSTRALIA) PTY LTD | enVista Envy EyeGility Model EC20N | The enVista Envy IOL is an ultraviolet-absorbing, posterior chamber, hydrophobic acrylic IOL. It has a square posterior edge, and modified C haptics. The lenses can be folded for insertion into the eye. The EC20N system combines the IOL with the EyeGility inserter in a common packaging configuration, which allows for simple loading of the lens. | Overall diameter 12.5mm, optic body diameter 6.0mm. Dioptric powers ranging from +6.0 to +10.0 in 1.0D increments and from +10.0D to +34D in 0.5D increments. | 98915 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, pl, t1 | LL013 | 918 | BAUSCH & LOMB (AUSTRALIA) PTY LTD | enVista Envy Toric EyeGility Model ETC20N | The enVista Envy IOL is an ultraviolet-absorbing, posterior chamber, hydrophobic acrylic IOL. It has a square posterior edge, and modified C haptics. The lenses can be folded for insertion into the eye. The Toric IOL option offers different powers in different meridians of the lens to correct astigmatism. The enVista Envy Toric (ETN) lens has the same trifocal optics as the enVista Envy IOL (EN), placed on the anterior surface of the lens. The Toric optics is placed on the posterior surface of the lens, the same as enVista Toric IOL (MX60T). The ETC20N system combines the IOL with the EyeGility inserter in a common packaging configuration, which allows for simple loading of the lens. | Overall diameter 12.5mm, optic body diameter 6.0mm. Dioptric sphere powers ranging from +6.0 to +34D in 0.5D increments, in cylinder powers of 0.90, 1.25, 1.50, 2.00, 2.50, 3.00, 3.50, 4.25, 5.00 and 5.75D | 98915 |  | July 2026 | New listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, t1 | DE869 | 902 | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | LENTIS MPLUS30 TORIC LS-313MFMF30T0-T6 | Foldable one-piece multifocal toric acrylic IOL for capsular bag fixation | SE: +10.0D to +30.0D, CYL: T0 +0.75, T1 +1.50, T2 +2.25, T3 +3.00, T4 +3.75, T5 +4.50, T6 +5.25 | 328681 |  | July 2026 | New listing
01 - Ophthalmic | 01.05 - GLAUCOMA DRAINAGE | 01.05.01 - Ab Externo Long Tube /Reservoir |  |  | YZ001 | 384 | CLIFFORD HALLAM HEALTHCARE PTY LIMITED | PAUL® Glaucoma Implant | Micro-sized tubed aqueous shunt glaucoma drainage device | Length 44.9mm Width 23mm Extraocular plate surface area of 342.1mm² | 303466 |  | July 2026 | Billing code transferred from ZZ067 Sponsor transferred from AA-Med Pty Ltd
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.05 - Ossicle/Middle Ear Prosthesis | 02.01.05.03 - Partial Ossicle Replacement (one or two) |  | KG043 | 227 | KEVIN GRUNDY (IBD) PTY. LIMITED | Eclipse Malleus Piston & Stapes, Various Piston or Bucket Handle prostheses | Pistons can be either composite (fluoroplastic, titanium, platinum, & nitinol). Pistons can also be non-composite made entirely of each of these materials. Bucket Handle prostheses are titanium or nitinol and come either with or without a notch. | Shaft Diameter 0.3 - 0.8 mm, Length 3.50 - 8.00 mm | 170281 |  | July 2026 | New listing
02 - Ear, Nose & Throat | 02.03 - THROAT | 02.03.01 - Tracheal Speaking Valve |  |  | CT036 | 628 | Coloplast Pty Ltd | ProTrach DualCare Set | ProTrach DualCare is attached to a tracheostomy tube and is designed to eliminate the necessity of finger occlusion, enabling the tracheostomised patient to speak easily and more clearly. It combines a speaking valve with an HME, and this way both enabling hands-free speech and helping to keep the lungs healthy by providing the important humidification of the inhaled air. The Set includes: 180pc HME Regular, 1pc Speaking Valve, 1pc ProTrach HME DigiTop, 1 Removal Aid and 1 connection strap. | 15mm 22mm | 275618 |  | July 2026 | Billing code transferred from BQ007 Sponsor transferred from ATOS MEDICAL PTY LIMITED
02 - Ear, Nose & Throat | 02.03 - THROAT | 02.03.01 - Tracheal Speaking Valve |  |  | CT037 | 92 | Coloplast Pty Ltd | ProTrach DualCare Speaking Valve | ProTrach DualCare System is attached to a tracheostomy tube and is designed to eliminate the necessity of finger occlusion, enabling the tracheostomised patient to speak easily and more clearly. It combines a speaking valve with a HME and in this way enabling speaking and supporing your lungs with important heating and moisturising. The Set includes: 1pc Speaking Valve, 1pc ProTrach HME DigiTop, 1 Removal Aid and 1 connection strap.ProTrach DualCare Speaking Valve, 1 HME DigiTop, 1 removal aid and 1pc Connection Strap | 15mm 22mm | 275618 |  | July 2026 | Billing code transferred from BQ008 Sponsor transferred from ATOS MEDICAL PTY LIMITED
02 - Ear, Nose & Throat | 02.03 - THROAT | 02.03.01 - Tracheal Speaking Valve |  |  | CT038 | 92 | Coloplast Pty Ltd | Tracheal Speaking Valve | Provox a) Two b) Vega c) Vega Puncture Set | a) 4.5, 6, 8, 10, 12.5, 15mm b) 17, 20, 22.5fr in 4, 6, 8, 10, 12.5, 15mm c) 17, 20, 22.5fr in 4, 6, 8, 10, 12.5, 15mm | 236026 |  | July 2026 | Change to ARTG Billing code transferred from BQ010 Sponsor transferred from ATOS MEDICAL PTY LIMITED
03 - General Miscellaneous | 03.01 - BRACHYTHERAPY | 03.01.02 - Prostatic I-125 | 03.01.02.01 - Standard Dose |  | ZE002 | 5766 | BXTACCELYON AUSTRALIA PTY LIMITED | TheraStrand Rx with AgX100 Brachytherapy Kit | The TheraStrand Rx with AgX100 Brachytherapy Kit is prescription-loaded and supplied sterile in a braided polyglactin suture. The prescription generally comprises 25 needles containing the brachytherapy I-125 sources (80-100 seeds) sequenced per the physician's treatment plan. All sources are of the same activity/strength. | 1 size | 491705 |  | July 2026 | New listing
03 - General Miscellaneous | 03.01 - BRACHYTHERAPY | 03.01.02 - Prostatic I-125 | 03.01.02.02 - Single Seed or Partial Dose |  | ZE001 | 73 | BXTACCELYON AUSTRALIA PTY LIMITED | C20 IsoLoader Magazines in TPSII Individual - 20 seeds per magazine | The C20 IsoLoader cartridge is a shielded cartridge holding up to 20 AgX100 I-125 seeds, supplied in accordance with the surgeon's requirements. Benefit is per seed | 4.5mm x 0.8mm (1 size) | 472645 |  | July 2026 | New listing
03 - General Miscellaneous | 03.01 - BRACHYTHERAPY | 03.01.02 - Prostatic I-125 | 03.01.02.02 - Single Seed or Partial Dose |  | ZE003 | 73 | BXTACCELYON AUSTRALIA PTY LIMITED | TheraStrand Rx with I-Seed AgX100 I125 implants | The TheraStrand Rx with I-Seed AgX100 I125 implants are AgX100 I-125 Seeds pre-loaded and supplied sterile in a braided polyglactin suture. The billing code is to be applied only if more than 100 seeds are used per patient. Benefit is per seed | 4.5mm x 0.8mm (1 size) | 491705 |  | July 2026 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.03 - Clips with Disposable Applier | Endoscopic | ZD001 | 125 | SONICTEC PTY LTD | Retentia Hemoclips Clips with Applier rotatable; PTFE coating, repositionable | The RETENTIA Hemoclip is premounted on its supporting catheter and is ready to use. This clip is rotatable (360 degree) and repositionable: it can be opened, closed and turned several times before being launched. Several maximal openings and angled tips and catheter lengths are available. The clip can be placed within the upper and lower Gastro-intestinal (GI) tract for the purpose of hemostasis. | The appliers are 180cm and 230cm in length. Diameter of tube is 2.5mm and available in Clip Lengths of 9mm, 12mm, or 16mm. | 483071 |  | July 2026 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.06 - Composite Mesh | 03.08.06.01 - ≤200cm² | Coated | XN025 | 352 | ASIA ACTUAL AUSTRALIA PTY. LTD. | 4DVENTRAL COMPOSITE MESH | 4D VENTRAL COMPOSITE MESH | Diameter 5cm, 7cm, 9cm and 12cm, 7 x15cm, 10 x15cm | 354550 |  | July 2026 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.06 - Composite Mesh | 03.08.06.01 - ≤200cm² | Coated, Contoured | XN027 | 407 | ASIA ACTUAL AUSTRALIA PTY. LTD. | 4D Mesh | 4D Mesh, semi absorbable bio mesh for abdominal reinforcement inguinal, femoral, and incisional hernias | 10.5x14cm, 11x14cm, 12x15cm, 12x8cm | 283655 |  | July 2026 | Billing code transferred from YI002 Sponsor transferred from VIDERA SURGICAL & DIAGNOSTICS PTY LTD
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.06 - Composite Mesh | 03.08.06.02 - 201-400cm² | Coated, Contoured | XN026 | 721 | ASIA ACTUAL AUSTRALIA PTY. LTD. | 4D Mesh | 4D Mesh, Semi resorbable bio mesh for abdominal reinforcement inguinal, femoral and incisional hernias. | 12x17cm | 283655 |  | July 2026 | Billing code transferred from YI001 Sponsor transferred from VIDERA SURGICAL & DIAGNOSTICS PTY LTD
04 - Neurosurgical | 04.01 - ANEURYSM CLIPS | 04.01.01 - Aneurysm Clip |  |  | LH962 | 233 | LIFEHEALTHCARE PTY LIMITED | Sugita Aneurysm Clips T2 | Titanium clips. straight, bayonet, bent, curved, L-shaped, J-shaped and 45 degree angle and temporary. | standard, mini and long | 100120 487606 |  | July 2026 | Compressed from LH147, LH119, LH148
04 - Neurosurgical | 04.03 - HYDROCEPHALUS DEVICES | 04.03.01 - Valves | 04.03.01.01 - Valve, Externally Adjustable | Antisyphon function, Distal catheter, Reservoir/Priming function | MI552 | 2757 | MEDTRONIC AUSTRALASIA PTY LTD | Strata MRII Shunt | The Strata MRII shunt consists of a Strata MRII adjustable pressure valve and a pre-attached peritoneal catheter. | Regular, Small | 513686 |  | July 2026 | New listing
04 - Neurosurgical | 04.03 - HYDROCEPHALUS DEVICES | 04.03.01 - Valves | 04.03.01.01 - Valve, Externally Adjustable | Antisyphon function, Distal catheter, Reservoir/Priming function | MI553 | 2757 | MEDTRONIC AUSTRALASIA PTY LTD | Strata MRII Snap Shunt Assembly | The Strata MRII Snap shunt assemblies consist of a Strata MRII valve, an integral Snap assembly ventriculostomy reservoir dome and an integral peritoneal catheter. | Regular, Small | 513686 |  | July 2026 | New listing
04 - Neurosurgical | 04.08 - NEURO INTERVENTION | 04.08.01 - Stent |  |  | UK059 | 6769 | The Trustee for Giorgios and Katarina Loizou Family Trust | ACCLINO Flex Plus Stent | Acclino Flex Plus Stent is a self-expanding lasercut Nitinol stent for aneurysm neck bridging in case of stent assisted coiling procedures. It is intended for use with embolisation materials for the treatment of intracranial aneurysms. It provides an increased range and is suitable for vessel diameters from 1.5 to 7.0 mm. For an easy handling all sizes from 3.0 - 6.5 mm are deliverable through microcatheters with 0.0165 - 0.021 ID. This allows a sequential stent and coil placement without the changing of the microcatheter. The 8.0 mm diameter devices are deliverable through microcatheters with 0.027 ID. | Diameter: 3.0 - 8.0mm Length: 15 - 60 mm | 312950 |  | July 2026 | Billing code transferred from ZZ109 Sponsor transferred from AA-Med Pty Ltd
04 - Neurosurgical | 04.08 - NEURO INTERVENTION | 04.08.01 - Stent |  |  | UK060 | 6769 | The Trustee for Giorgios and Katarina Loizou Family Trust | ACCERO Stent | ACCERO Stent is a highly visible,braided self-expanding stent with BlueXide® surface technology.The self-expanding braided stent is characterised by an excellent opening behaviour, superior wall apposition and a very smooth surface. It is intended for use with embolization materials in the treatment of intracranial aneurysms. Accero’s full range of sizes can be delivered through a small 0.0170” microcatheter and can be resheathed up to 95%. | Stent Diameter (mm): 2.5, 3.0, 3.5,4.0, 4.5 Stent Length (mm): 10, 15, 20, 25 | 321603 |  | July 2026 | Billing code transferred from ZZ110 Sponsor transferred from AA-Med Pty Ltd
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.03 - Sling | 05.01.03.02 - Female |  | ET103 | 822 | ENDOTHERAPEUTICS PTY. LIMITED | GYNECARE TVT™: Device Tension Free Vaginal Tape / EXACT™ Continence System | Female stress urinary incontinence surgical mesh | Tape - 133 mm (W) x 190 mm (H); EXACT™ - Flat:460 mm (W) x 546 mm (H) | 351635 351636 |  | July 2026 | Billing code transferred from JJ070 Sponsor transferred from JOHNSON & JOHNSON MEDICAL PTY LTD
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.03 - Sling | 05.01.03.02 - Female |  | ET104 | 822 | ENDOTHERAPEUTICS PTY. LIMITED | GYNECARE TVT™ Obturator System | Female stress urinary incontinence surgical mesh | 461.86 mm X 548.96 mm | 351637 |  | July 2026 | Billing code transferred from JJ442 Sponsor transferred from JOHNSON & JOHNSON MEDICAL PTY LTD
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.03 - Sling | 05.01.03.02 - Female |  | ET105 | 822 | ENDOTHERAPEUTICS PTY. LIMITED | GYNECARE TVT™ ABBREVO™ Continence System | Female stress urinary incontinence surgical mesh | 459.91 mm X 545.9 mm | 351638 |  | July 2026 | Billing code transferred from MN039 Sponsor transferred from JOHNSON & JOHNSON MEDICAL PTY LTD
05 - Urogenital | 05.03 - Voiding Dysfunction Prostheses | 05.03.02 - Prostatic Retractor |  |  | TX066 | 712 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | UroLift 2 System – Cartridge Handle Kit | The UroLift 2 Cartridge Handle Kit consists of Delivery Handle with the single UroLift 2 implant Cartridge (each cartridge is for one implant composed of Nitinol Capsular Tab (13 mm), PET Suture, Stainless Steel Urethral End-Piece (8mm) | 1 UroLift 2 Delivery Handle and 1 UroLift 2 Implant Cartridge | 510577 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.02 - Finger Joint Articulations | 06.02.02.05 - Thumb, carpometacarpal - proximal component |  | EO141 | 420 | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD | TOUCH Cup | The TOUCH CMC 1 Prosthesis device (hereafter ‘TOUCH Prosthesis’) is a ball-and- socket, modular, cementless, hydroxyapatite-coated, implant supplied as three parts: -A metacarpal implant - TOUCH Stem -A trapezial implant - TOUCH Cup - A junction implant – TOUCH dual mobility neck and highly crosslinked polyethylene liner assembly (hereafter ‘TOUCH Neck’) This submission is specifically the TOUCH Cup, available in 2 variants (spherical and conical). | TOUCH Spherical Cup and TOUCH Conical Cup: Diameter (mm): 9, 10 (for each variant) | 436854 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.02 - Finger Joint Articulations | 06.02.02.06 - Thumb, carpometacarpal - distal component |  | EO143 | 420 | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD | TOUCH Stem | The TOUCH CMC 1 Prosthesis device (hereafter ‘TOUCH Prosthesis’) is a ball-and- socket, modular, cementless, hydroxyapatite-coated, implant supplied as three parts: -A metacarpal implant - TOUCH stem (hereafter ‘TOUCH Stem’) -A trapezial implant - TOUCH cup (hereafter ‘TOUCH Cup’) -A junction implant - TOUCH neck and liner assembly (hereafter ‘TOUCH Neck’). This submission is specifically the TOUCH Stem, available in 6 sizes. | TOUCH Stem sizes: XS, 0, 1, 2, 3, 4 | 436854 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.02 - Finger Joint Articulations | 06.02.02.07 - Thumb, carpometacarpal - dual mobility component |  | EO142 | 1490 | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD | TOUCH Neck | The TOUCH CMC 1 Prosthesis device (hereafter ‘TOUCH Prosthesis’) is a ball-and- socket, modular, cementless, hydroxyapatite-coated, implant supplied as three parts: -A metacarpal implant - TOUCH Stem -A trapezial implant - TOUCH Cup -A junction implant – TOUCH dual mobility neck and highly crosslinked polyethylene liner assembly (hereafter ‘TOUCH Neck’) This submission is specifically the TOUCH Neck, available in 2 variants (straight and 15 degree offset) and 3 lengths per variant | TOUCH Straight Neck and TOUCH Offset Neck: Length (mm): 6 (S), 8 (M), 10 (L) (for each variant) | 436854 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.05 - Humeral |  | JV056 | 878 | STRYKER AUSTRALIA PTY LTD | T2 Alpha Humerus | Humeral Nail with Compression Screw | 7-10mm diameter, 130 – 315mm length | 398730 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.04 - End caps and extension caps |  | JV049 | 96 | STRYKER AUSTRALIA PTY LTD | T2 Alpha Humerus | End Caps | 7-10 mm diameter, +0-4 mm height | 398777 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm) ≤ 6 holes | VAL | HU407 | 594 | ARTHREX AUSTRALIA PTY LTD | Low Profile MTP Plate | MTP Plate | 6 Holes and 3 mm diameter | 350871 351000 |  | July 2026 | Compressed from HU164, HU171
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm) ≤ 6 holes | VAL | BP041 | 907 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S mvX Hand and Mini Fragment Systems | 1.5/2.0mm, 2.4mm and 2.7mm Straight plates, Straight Tine plates, Avulsion Hook Plate, Condylar Plate, Rotational Correction Plates | Mini Plates 1.5 mm - 2.7mm: 2 - 6 holes | 522607 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm) ≤ 6 holes | VAL | LQ009 | 907 | BONEBRIDGE PTY LTD | BRUSIO 2.5mm Reinforced Straight Plate | Fracture fixation plate - Appendicular skeleton | 6 Hole | 433150 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm) ≤ 6 holes | LK | JJ994 | 550 | JOHNSON & JOHNSON MEDICAL PTY LTD | MatrixSTERNUM | Star plate, straight plate, square plate, angled plate | 4 - 6 holes | 157069 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm) ≤ 6 holes | VAL | JV053 | 907 | STRYKER AUSTRALIA PTY LTD | VariAx 2 Forefoot Fracture Plates | Slim Straight Plates with variable angle locking | 2-6 holes | 237797 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm) ≥ 7 to ≤ 15 holes | VAL | BP042 | 797 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S mvX Hand and Mini Fragment Systems | 1.5/2.0mm, 2.4mm and 2.7mm Straight plates, Straight Tine plates, 3 Hole T plates, 4 Hole T-plates, Y-plates, Y-Tine plates, Narrow y-plates, T-plates, 3-2 Triangle plates plate, Offset plates, Bennett/Rolando plates | Mini Plates 1.5/2.0mm - 2.7mm: 7 - 15 holes | 522607 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm) ≥ 7 to ≤ 15 holes | VAL | LQ008 | 797 | BONEBRIDGE PTY LTD | BRUSIO 2.5mm Flex T-Plate | Fracture fixation plate - Appendicular skeleton | 14 Hole | 433150 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm) ≥ 7 to ≤ 15 holes | VAL | LQ010 | 797 | BONEBRIDGE PTY LTD | BRUSIO 2.5mm Straight Flex and Reinforced Plate | Fracture fixation plate - Appendicular skeleton | 8 to 14 Holes | 433150 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm) ≥ 7 to ≤ 15 holes | LK | JJ993 | 354 | JOHNSON & JOHNSON MEDICAL PTY LTD | MatrixSTERNUM | X-Plate, H-Plate, Ladder Plate, Pi Plate, T-Plate, Angled plate | 7 - 12 holes | 157069 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm) ≥ 7 to ≤ 15 holes | VAL | JV054 | 797 | STRYKER AUSTRALIA PTY LTD | VariAx 2 Forefoot Fracture Plates | Slim Straight Plates with variable angle locking | 7 holes | 237797 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm) ≥ 16 holes | VAL | LQ011 | 1207 | BONEBRIDGE PTY LTD | BRUSIO 2.5mm Straight Flex and Reinforced Plate | Fracture fixation plate - Appendicular skeleton | 18 to 22 Hole | 433150 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm) ≥ 16 holes |  | JV057 | 431 | STRYKER AUSTRALIA PTY LTD | VariAx Hand Plating System | 1.7mm S Profyle Hand Straight Plate | 16 holes | 237797 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.20 - Periarticular - Humerus ≥ 7 to ≤ 15 holes | VAL | HU409 | 1513 | ARTHREX AUSTRALIA PTY LTD | Elbow Distal Humerus Plate | Dorsal Olecranon and Olecranon Osteotomy Plates - Medial, Lateral Biplanar, Posterolateral, Lateral Plates | 9, 10, 11, 12, 13, 14, and 15 holes | 351000 355042 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.21 - Periarticular - Humerus ≥ 16 holes | VAL | HU412 | 1643 | ARTHREX AUSTRALIA PTY LTD | Elbow Distal Humerus Plate | Medial, posterolateral, and lateral plates | 16 screw holes | 351000 355042 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.26 - Periarticular - Ulna ≥ 7 to ≤ 15 holes | VAL | HU410 | 1198 | ARTHREX AUSTRALIA PTY LTD | Elbow Plating Olecranon Plates System 7-15 hole | Olecranon Osteotomy and Dorsal Olecranon Plates | 8, 10, 14 holes | 351000 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.27 - Periarticular - Ulna ≥ 16 holes | VAL | HU408 | 1433 | ARTHREX AUSTRALIA PTY LTD | Elbow Plating Olecranon Plates System | Dorsal Olecranon and Olecranon Osteotomy Plates >16 holes | 18 and 22 holes | 351000 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.29 - Periarticular - Pelvis ≤ 6 holes |  | JV051 | 679 | STRYKER AUSTRALIA PTY LTD | PRO Plating Posterior Rim Plates | Acetabular Posterior Rim and Spring Plates | 2-6 holes | 237797 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.38 - Periarticular - Tibia ≤ 6 holes | VAL | BP038 | 1474 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S. mvX Ankle Fracture System | Posterolaterial Tibia Plates | 6 holes | 522607 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.39 - Periarticular - Tibia ≥ 7 to ≤ 15 holes | VAL | BP046 | 1489 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S. mvX Ankle Fracture System | Posterolateral Tibia Plates Anterolateral Tibia Plates (Narrow and Wide) Medial Tibia Plates Anterior Tibia Plates (Narrow and Wide) | 8 - 15 holes | 522607 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | LK | BP039 | 102 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S mvX Hand and Mini Fragment Systems | 3.5mm Locking Multi-directional screws | D 3.5mm L 10mm - 100mm | 522608 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | BP043 | 46 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S. mvX Ankle Fracture and Hand Systems | 3.0mm – 4.0mm Nonlocking screws and nails | D 3.0 - 4.0mm L 10 - 100mm | 522608 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | BP037 | 98 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S mvX Hand and Mini Fragment Systems | 2.4mm – 2.7mm Locking Multi-directional screws | D 2.4 - 2.7mm L 6mm - 100mm | 522608 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) |  | BP044 | 58 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S mvX Hand Mini Fragment Systems | Non locking bone screws | D 2.4 - 2.7mm L 6mm - 100mm | 522608 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | JJ995 | 98 | JOHNSON & JOHNSON MEDICAL PTY LTD | MatrixSTERNUM | Self-drilling locking screw | D: 2.7 mm; L: 8 – 20 mm; sterile and nonsterile | 461930 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) |  | JJ996 | 58 | JOHNSON & JOHNSON MEDICAL PTY LTD | MatrixSTERNUM | Self-drilling screw | D: 2.7 mm; L: 10 – 12 mm; sterile and nonsterile | 461930 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | LK | BP040 | 104 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S mvX Hand and Mini Fragment Systems | 1.3mm – 2.0mm Locking and Locking Multi-directional screws | D 1.3 - 2.0mm L 6 - 40mm | 522608 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) |  | BP045 | 46 | ACRA REGULATORY SERVICES PTY LTD | A.L.P.S. mvX Mini Fragment and Hand Systems | Non-locking Bone Screws | D 1.3 - 2.0mm L 6 - 40mm | 522608 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | DT | HU411 | 200 | ARTHREX AUSTRALIA PTY LTD | 2mm DT Kreulock Screw | Titanium DT Screw | 2mm | 350999 355042 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.06 - Screw Washers |  | JV050 | 49 | STRYKER AUSTRALIA PTY LTD | T2 Alpha Humerus | Screw Washer | 11mm | 352130 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.05 - Surgical Accessories | 06.03.05.01 - Pins and Wires, diameter ≤∅1.6 mm |  | KR001 | 11 | ALLEGRA INNOVATIONS PTY LTD | K-Wires | Sabre Medical K-Wires, implant grade, 316L Stainless Steel. The wires and pins are listed on the PL when used for the stabilisation and fixation of bone fractures or graft, osteotomy or arthrodesis or as components of External Fixateur constructs, and not for any other purpose. | 0.7 - 1.6mm diameter, 100-230mm length, Single & Double ended | 501346 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.06 - Staples | 06.03.06.01 - Staples |  | PF060 | 127 | PERIOS PTY LTD | Auxein Ligament Staple | The Ligament staple is made up of titanium alloy. It can be used for attaching soft tissue to the bone. | 6mm - 16mm depth x 11mm - 21mm width x 20mm - 25mm height | 522695 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Medium Anchors (2.4 mm – 3.9 mm) with suture |  | KO016 | 442 | FIELD ORTHOPAEDICS PTY LTD | Griplasty Anchor System - preloaded with sutures and needles | Double anchor system preloaded with sutures and needles | 2.4mm | 480405 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Large Anchors (≥4.0 mm) with suture | AB | JV052 | 501 | STRYKER AUSTRALIA PTY LTD | AlphaVent Biocomposite | AlphaVent Biocomposite Suture Anchor - a soft-tissue fixation device, preloaded with core/retention suture intended to be implanted with the anchors for fixation | Diameter: 4.75-6.5mm | 521449 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Large Anchors (≥4.0 mm) with suture |  | JV055 | 442 | STRYKER AUSTRALIA PTY LTD | AlphaVent Knotless SP Biocomposite Suture Anchors | AlphaVent Knotless SP Biocomposite Anchor - soft-tissue fixation device - preloaded with core/retention suture intended to be implanted with the anchors for fixation. | Diameter: 4.75mm, 5.5mm, 6.5mm | 521448 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | MU243 | 374 | MEDACTA AUSTRALIA PTY. LTD. | GFS Ultimate | Button with non-absorbable suture material | Adjustable loop length | 178101 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | WU019 | 374 | NATON MEDICAL AUS PTY LTD | Naton Biotechnology Adjustable Fixation Button | The Adjustable Fixation Button consists of the plate, suture loop and suture. The product is supplied sterile and sterilized using ethylene oxide. | Titanium plate: 4.4*12.2 mm and 5.5*20 mm Suture loop length: 63 mm and 92 mm | 490450 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.08 - Soft Tissue Substitute | 06.03.08.02 - Non-biological |  | HU413 | 4217 | ARTHREX AUSTRALIA PTY LTD | Suture Patch | Rotator Cuff Reinforcement Patch supplied in 1 per pack or 5 per pack | 60 x 30mm, 60 x 35mm, and 45 x 35mm | 515988 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.09 - Frame Component - Circular Frame Strut Device | 3D | JJ997 | 1235 | JOHNSON & JOHNSON MEDICAL PTY LTD | MAXFRAME AUTOSTRUT Multi-Axial Correction System - Hexapod Strut | MAXFRAME AUTOSTRUT Single Hexapod Strut | Short, Medium, Long | 489347 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc | AUG | ER856 | 1026 | EMERGO ASIA-PACIFIC PTY. LIMITED | NovaBone BioGlass | Bioactive synthetic bone graft - calcium phospo-silicate | 0.25 - 5cc | 302472 302473 |  | July 2026 | Change to ARTG Billing code transferred from DE655 Sponsor transferred from DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD.
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | HK018 | 722 | Heraeus Medical Australia Pty Ltd | heracure 3D | Synthetic Bone Graft Substitute, Blocks and Wedges | Block 1cc - 2cc, Wedge 1.8cc - 4.7cc | 520802 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | HK020 | 722 | Heraeus Medical Australia Pty Ltd | heracure one | Synthetic alpha-tricalcium phosphate based, self-setting, biocompatible, osteoconductive and bioresorbable bone graft substitute. | 1 - 3 mL | 520801 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc | AUG | ER857 | 2185 | EMERGO ASIA-PACIFIC PTY. LIMITED | NovaBone BioGlass | Bioactive synthetic bone graft - calcium phospho-silicate | 8cc-10cc | 302472 302473 302474 |  | July 2026 | Billing code transferred from DE656 Sponsor transferred from DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD.
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc |  | HK017 | 1140 | Heraeus Medical Australia Pty Ltd | heracure 3D | Synthetic Bone Graft Substitute, Multiple Blocks and Cylinder | Multiple Blocks 10cc, Cylinder 6.3cc | 520802 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc |  | HK019 | 1140 | Heraeus Medical Australia Pty Ltd | heracure one | Synthetic alpha-tricalcium phosphate based, self-setting, biocompatible, osteoconductive and bioresorbable bone graft substitute. | 6 mL | 520801 |  | July 2026 | New listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.03 - Ceramic, >10cc - 20cc | AUG | ER858 | 4370 | EMERGO ASIA-PACIFIC PTY. LIMITED | NovaBone BioGlass | Bioactive synthetic bone graft - calcium phospho-silicate | 15cc | 302475 |  | July 2026 | Billing code transferred from DE657 Sponsor transferred from DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD.
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.03 - Ceramic, >10cc - 20cc |  | HK021 | 1425 | Heraeus Medical Australia Pty Ltd | heracure one | Synthetic alpha-tricalcium phosphate based, self-setting, biocompatible, osteoconductive and bioresorbable bone graft substitute. | 12 mL | 520801 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.04 - Non-mesh | 07.01.04.01 - Resorbable |  | UK058 | 224 | The Trustee for Giorgios and Katarina Loizou Family Trust | InterCollagen Guide | InterCollagen Guide is a resorbable collagen membrane, derived from porcine pericardium. InterCollagen Guide is intended for periodontal and/or dental surgical procedures as a barrier membrane restricting the entry of rapidly proliferating non-osteogenic cells within the bone defect while allowing the ingrowth of slow-growing bone forming cells. The membrane is a bio-resorbable barrier which eventually is remodeled and/or incorporated by the host tissue. | 15 x 20mm and 20 x 30mm | 510917 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.05 - 0.5-0.99mm thick, <4 holes |  | KQ038 | 76 | ACTIS MEDICAL PTY LTD | Anatomics Fixation Straight Plates | Titanium fixation straight plates | 2 Holes Thickness - 0.6mm Length - 15mm | 288564 |  | July 2026 | Billing code transferred from QQ007 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes | Burr | KQ034 | 166 | ACTIS MEDICAL PTY LTD | Anatomics Burr Hole Plates | Titanium burr hole plate | Thickness - 0.6mm Diameter - 18-22mm | 288564 |  | July 2026 | Billing code transferred from QQ003 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes |  | KQ037 | 166 | ACTIS MEDICAL PTY LTD | Anatomics Fixation Double-Y Plates | Titanium craniofacial fixation plates | 6 Holes Thickness - 0.6mm Length - 17mm | 288564 |  | July 2026 | Billing code transferred from QQ006 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes | Compression | ZC001 | 166 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 4-7 holes | 377044 |  | July 2026 | Billing code transferred from ZZ081 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes | Complex | ZC002 | 273 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, Complex shape | 0.5-0.99mm thick, 8-32 holes | 377044 |  | July 2026 | Billing code transferred from ZZ082 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes | Compression | ZC003 | 195 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 8-32 holes | 377044 |  | July 2026 | Billing code transferred from ZZ083 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.09 - 1.0-1.99mm thick, <4 holes |  | ZC004 | 107 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, &lt;4 holes | 377044 |  | July 2026 | Billing code transferred from ZZ084 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.10 - 1.0-1.99mm thick, 4-7 holes | Complex | ZC005 | 341 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, S-shape | 1.0-1.99mm thick, 4-7 holes | 377044 |  | July 2026 | Billing code transferred from ZZ085 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.10 - 1.0-1.99mm thick, 4-7 holes | Compression | ZC006 | 135 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 4-7 holes | 377044 |  | July 2026 | Billing code transferred from ZZ086 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.10 - 1.0-1.99mm thick, 4-7 holes | Locking | ZC007 | 345 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 4-7 holes | 377044 |  | July 2026 | Billing code transferred from ZZ087 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.11 - 1.0-1.99mm thick, 8-15 holes | Locking | ZC008 | 629 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 8-15 holes | 377044 |  | July 2026 | Billing code transferred from ZZ088 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.11 - 1.0-1.99mm thick, 8-15 holes |  | ZC009 | 336 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 8-15 holes | 377044 |  | July 2026 | Billing code transferred from ZZ089 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.12 - 1.0-1.99mm thick, 16-32 holes | Locking | ZC022 | 798 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium Plate, Locking | 1.0mm-1.99mm thick, 16-32 holes | 377044 |  | July 2026 | Billing code transferred from ZZ102 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.14 - 2.0-2.99mm thick, 4-7 holes |  | ZC010 | 604 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate | 2.0-2.99mm thick, 4-7 holes | 377044 |  | July 2026 | Billing code transferred from ZZ090 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.15 - 2.0-2.99mm thick, 8-15 holes | Locking | ZC011 | 926 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 8-15 holes | 377044 |  | July 2026 | Billing code transferred from ZZ091 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.16 - 2.0-2.99mm thick, 16-32 holes | Locking | ZC012 | 1073 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 16-32 holes | 377044 |  | July 2026 | Billing code transferred from ZZ092 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.17 - 2.0-2.99mm thick, >32 holes | Complex | ZC013 | 1414 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Plates | Titanium plate, Locking, Complex Shape | 2.0-2.99mm thick, >32 holes | 377044 |  | July 2026 | Billing code transferred from ZZ093 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm |  | KQ033 | 42 | ACTIS MEDICAL PTY LTD | Anatomics Bone Screws | Titanium bone screws for patient specific implants | Diameter - 1.6-2.0 mm Length - 5mm | 288564 |  | July 2026 | Billing code transferred from QQ002 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm | Locking | ZC014 | 88 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Screws | Titanium Screw, Locking | Diameter 1.25-3.24mm | 377044 |  | July 2026 | Billing code transferred from ZZ094 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm |  | ZC015 | 42 | MATERIALISE AUSTRALIA PTY LTD | Materialise Standard+ Solutions - Screws | Titanium Screw | Diameter 1.25-3.24mm | 377044 |  | July 2026 | Billing code transferred from ZZ095 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.01 - Complex | Biomodelled | KQ035 | 9682 | ACTIS MEDICAL PTY LTD | Anatomics Cranial Patient Specific Implant - One Piece | Cranial patient specific implant constructed of Titanium, Acrylic or Porous Polyethylene | Custom | 288564 |  | July 2026 | Billing code transferred from QQ004 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.01 - Complex | Biomodelled Two Piece | KQ036 | 10169 | ACTIS MEDICAL PTY LTD | Anatomics Cranial Patient Specific Implant - Two Piece | Patient Specific Cranial Implant constructed of Titanium, Acrylic or Porous Polyethylene | Custom | 288564 |  | July 2026 | Billing code transferred from QQ005 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.01 - Complex | Biomodelled | ZC016 | 9682 | MATERIALISE AUSTRALIA PTY LTD | Materialise PorousiTi - Cranium | Patient specific Titanium 3D printed implant for cranial reconstruction | Personalized so the size is variable | 377044 |  | July 2026 | Billing code transferred from ZZ096 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.04 - Surgical Guide | Biomodelled | KQ045 | 1315 | ACTIS MEDICAL PTY LTD | Anatomics Surgical Guide | Biomodelled surgical guides to support surgical decision making both pre and intra-operatively | The device is custom made so the size will vary | 288564 | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 6 PL benefits for any billing codes for surgical guides and/or biomodels, which have been used in an implantation procedure for a patient. This restriction is not impacted by the number of devices implanted during the procedure, for which claim has been submitted. | July 2026 | Billing code transferred from QQ014 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.04 - Malar | 07.02.04.02 - Polymer | Biomodelled | KQ040 | 4095 | ACTIS MEDICAL PTY LTD | Anatomics Patient Specific Malar Implant | A customised patient specific implant constucted of porous polyethelene | The device is customised so sizes will vary | 288564 |  | July 2026 | Billing code transferred from QQ009 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.01 - Mandible, Full | Biomodelled | ZC017 | 5119 | MATERIALISE AUSTRALIA PTY LTD | Materialise PorousiTi - Mandible | Patient specific Titanium 3D printed implant for mandible | Personalized so the size is variable | 377044 |  | July 2026 | Billing code transferred from ZZ097 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.05 - Plate | Biomodelled | ZC018 | 2952 | MATERIALISE AUSTRALIA PTY LTD | Materialise Titanium 3D Printed Plates | Patient specific Titanium 3D printed plates for maxillofacial applications | Personalized so the size is variable | 377044 |  | July 2026 | Billing code transferred from ZZ098 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | KQ039 | 1450 | ACTIS MEDICAL PTY LTD | Anatomics Patient Specifc Surgical Guide | Patient specific surgical guide created from patient CT scan data, used to assist surgeons to implant the device by assisting in clinical decision making both pre- and intraoperatively | The device is custom made so the size will vary. | 288564 | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 6 PL benefits for any billing codes for surgical guides and/or biomodels, which have been used in an implantation procedure for a patient. This restriction is not impacted by the number of devices implanted during the procedure, for which claim has been submitted. | July 2026 | Billing code transferred from QQ008 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | ZC023 | 1450 | MATERIALISE AUSTRALIA PTY LTD | Materialise Titanium 3D Printed Guides | Patient specific maxillofacial guides for specific use with Materialise peronalised implants and plates included in rebate codes ZZ096, ZZ097, ZZ098, ZZ099, ZZ100, ZZ101, and standard plates and screws ZZ081, ZZ082, ZZ083, ZZ084, ZZ085, ZZ086, ZZ087, ZZ088, ZZ089, ZZ090, ZZ091, Z092, ZZ093, ZZ094, ZZ095 and ZZ102 | Custom | 377044 410054 | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 6 PL benefits for any billing codes for surgical guides and/or biomodels, which have been used in an implantation procedure for a patient. This restriction is not impacted by the number of devices implanted during the procedure, for which claim has been submitted. | July 2026 | Billing code transferred from ZZ108 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.08 - Maxilla | Biomodelled | ZC019 | 6337 | MATERIALISE AUSTRALIA PTY LTD | Materialise PorousiTi - Maxilla | Patient specific Titanium 3D printed implant for maxilla | Personalized so the size is variable | 377044 |  | July 2026 | Billing code transferred from ZZ099 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.09 - Hemi-mandible | Biomodelled | KQ041 | 3493 | ACTIS MEDICAL PTY LTD | Anatomics Patient Specific Mandible | Custom mandible implant constructed of porous polyethylene | The device is custom made so the size will vary. | 288564 |  | July 2026 | Billing code transferred from QQ010 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.06 - Nose and Zygoma | 07.02.06.07 - Zygoma Plate | Biomodelled | ZC020 | 4095 | MATERIALISE AUSTRALIA PTY LTD | Materialise Titanium 3D Printed Plates - Zygoma | Patient specific Titanium 3D printed plates for zygoma reconstruction | Personalized so the size is variable | 377044 |  | July 2026 | Billing code transferred from ZZ100 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.02 - Orbital Floor | Biomodelled | KQ042 | 4095 | ACTIS MEDICAL PTY LTD | Anatomics Patient Specific Orbital Floor Implant | A custom, patient specific implant intended for the reconstruction of the patient's orbital floor manufactured with titanium or porous polyethylene. | The device is custom made so the size will vary. | 288564 |  | July 2026 | Billing code transferred from QQ011 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.02 - Orbital Floor | Biomodelled | ZC021 | 4095 | MATERIALISE AUSTRALIA PTY LTD | Materialise PorousiTi - Orbital | Patient specific Titanium 3D printed implant for orbital reconstruction | Personalized so the size is variable | 377044 |  | July 2026 | Billing code transferred from ZZ101 Sponsor transferred from AA-Med Pty Ltd
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.03 - Rim | Biomodelled | KQ043 | 4095 | ACTIS MEDICAL PTY LTD | Anatomics Patient Specific Orbital Rim | Custom, 3D-printed orbital rim constructed of porous polyethylene. | The device is custom made so the size will vary. | 288564 |  | July 2026 | Billing code transferred from QQ012 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.05 - Surgical Guide | Biomodelled | KQ044 | 2584 | ACTIS MEDICAL PTY LTD | Anatomics Patient Specific Surgical Guide | The Surgical Guide component of the system is created from the patient's CT scan data to assist the surgeon with pre- and intraoperative planning. | The device is custom made so the size will vary. | 288564 | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 6 PL benefits for any billing codes for surgical guides and/or biomodels, which have been used in an implantation procedure for a patient. This restriction is not impacted by the number of devices implanted during the procedure, for which claim has been submitted. | July 2026 | Billing code transferred from QQ013 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.09 - Anatomical Biomodel |  |  | KQ032 | 1762 | ACTIS MEDICAL PTY LTD | Anatomics Biomodel | A patient-specific, 3D printed biomodel intended to assist the surgeon during pre- and intraoperative procedural planning. | The device is custom made so the size will vary. | 288564 | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 6 PL benefits for any billing codes for surgical guides and/or biomodels, which have been used in an implantation procedure for a patient. This restriction is not impacted by the number of devices implanted during the procedure, for which claim has been submitted. | July 2026 | Billing code transferred from QQ001 Sponsor transferred from ANATOMICSRX PTY LTD
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.02 - Temporary |  | GI036 | 68 | GEISTLICH PHARMA AUSTRALIA PTY LTD | TRI Dental Healing Collars | TRI Healing Abutments | dia 3.5-5mm, Height 1.5-6mm | 485745 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.03 - Cover Screw/Cap |  | GI035 | 47 | GEISTLICH PHARMA AUSTRALIA PTY LTD | TRI Dental Cover Screws | TRI Titanium Surgical Cover Screws | TRI Platforms 3.0 - 4.5mm, dia 3.2-4.5mm | 485745 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.02 - Zygomatic Bone Implant |  |  | SB038 | 780 | STRAUMANN PTY LTD | Neodent Zygoma-S GM Implant | Titanium zygomatic implant | 3.5mm and 3.75mm diameter, 30mm - 55mm length | 407575 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures |  | GI034 | 351 | GEISTLICH PHARMA AUSTRALIA PTY LTD | TRI Dental Implants (Performance & Matrix Systems) | TRI Titanium Dental Implants Performance (Narrow & Vent); Matrix (Multi & Bone Level) | dia 3.3 – 4.7mm; length 6.5-16mm | 229776 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.04 - Graft Material <0.5ml |  | NJ014 | 96 | Neoss Australia Pty Ltd | NeoGenix XP | NeoGenix XP is a porous bone mineral matrix consisting of predominately calcium phosphate. It is made from the mineral part of porcine (pig) bone and is produced by removing all the organic components from the bone tissue. The device is a resorbable implant that is gradually broken down by the body’s own metabolic processes and does not require removal. The product is pre-filled in a curved syringe. | Size 0.25cc | 482446 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.05 - SOFT TISSUE & TISSUE EXPANDERS | 07.05.03 - Skin, Artificial | 07.05.03.01 - <50cm² |  | XF020 | 877 | REVOLUTION SURGICAL PTY. LTD. | MatriDerm Dermal Matrix (Flex & Fenestrated) | MatriDerm is a dermal matrix that serves as a scaffold for tissue regeneration and modulates the formation of scar tissue. In addition, MatriDerm supports orderly healing and acts as a temporary adhesion barrier. | Width (mm) 37-52 (mm) Length (mm) 52-74 (mm) Thickness 1-3 (mm) | 524423 524480 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.05 - SOFT TISSUE & TISSUE EXPANDERS | 07.05.03 - Skin, Artificial | 07.05.03.03 - 150-400cm² |  | XF019 | 1697 | REVOLUTION SURGICAL PTY. LTD. | MatriDerm Dermal Matrix (Flex & Fenestrated) | MatriDerm is a dermal matrix that serves as a scaffold for tissue regeneration and modulates the formation of scar tissue. In addition, MatriDerm supports orderly healing and acts as a temporary adhesion barrier. | Width (mm) 148 (mm) Length (mm) 105 (mm) Thickness 1-3 (mm) | 524423 524480 |  | July 2026 | New listing
07 - Plastic and Reconstructive | 07.05 - SOFT TISSUE & TISSUE EXPANDERS | 07.05.03 - Skin, Artificial | 07.05.03.04 - >400cm² |  | XF018 | 3296 | REVOLUTION SURGICAL PTY. LTD. | MatriDerm Dermal Matrix (Flex & Fenestrated) | MatriDerm is a dermal matrix that serves as a scaffold for tissue regeneration and modulates the formation of scar tissue. In addition, MatriDerm supports orderly healing and acts as a temporary adhesion barrier. | Width (mm) 210 (mm) Length (mm) 297 (mm) Thickness 1-3 (mm) | 524423 524480 |  | July 2026 | New listing
08 - Cardiac | 08.01 - Single Chamber ICDs | 08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a, d, e | BT263 | 22650 | BIOTRONIK AUSTRALIA PTY LIMITED | Acticor Sky VR-T | Single Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Early& QuickCheck, MRI Guard 24/7, ComfortDesign, DF4, IS-1 connector | 66.5mm x 60mm x 10mm, 32cm3, 77grams | 524069 |  | July 2026 | New listing
08 - Cardiac | 08.01 - Single Chamber ICDs | 08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a, d, e | BT264 | 22650 | BIOTRONIK AUSTRALIA PTY LIMITED | Acticor Sky VR-T DX | Single Chamber ICD, ventricular capture control, physiological rate adaption, additional single lead atrial detection (DX),automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Easy & QuickCheck, MRI Guard 24/7 , ComfortDesign DF4, IS-1 connector | 65mm x 55mm x 11mm, 33cm3, 82grams | 524070 |  | July 2026 | New listing
08 - Cardiac | 08.01 - Single Chamber ICDs | 08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a, d, e | BT268 | 22650 | BIOTRONIK AUSTRALIA PTY LIMITED | Rivacor Sky VR-T | Single Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Early& QuickCheck, MRI Guard 24/7, ComfortDesign, DF4, IS-1 connector | 66.5mm x 60mm x 10mm, 32cm3, 77grams | 524074 |  | July 2026 | New listing
08 - Cardiac | 08.01 - Single Chamber ICDs | 08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a, d, e | BT271 | 22650 | BIOTRONIK AUSTRALIA PTY LIMITED | Rivacor Sky VR-T DX | Single Chamber ICD, ventricular capture control, physiological rate adaption, additional single lead atrial detection (DX),automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Easy & QuickCheck, MRI Guard 24/7 , ComfortDesign DF4, IS-1 connector | 66.5mm x 60mm x 10mm, 32cm3, 77grams | 524075 |  | July 2026 | New listing
08 - Cardiac | 08.02 - Dual Chamber ICDs | 08.02.02 - Features of 8.2.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | BT265 | 24954 | BIOTRONIK AUSTRALIA PTY LIMITED | Acticor Sky DR-T | Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Easy & QuickCheck, MRI Guard 24/7, ComfortDesign DF4, IS-1 connector | 66.5mm x 60mm x 10mm, 32cm3, 77grams | 524071 |  | July 2026 | New listing
08 - Cardiac | 08.02 - Dual Chamber ICDs | 08.02.02 - Features of 8.2.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | BT270 | 24954 | BIOTRONIK AUSTRALIA PTY LIMITED | Rivacor Sky DR-T | Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Easy & QuickCheck, MRI Guard 24/7, ComfortDesign DF4, IS-1 connector | 66.5mm x 60mm x 10mm, 32cm3, 77grams | 524078 |  | July 2026 | New listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | BT266 | 28869 | BIOTRONIK AUSTRALIA PTY LIMITED | Acticor Sky HF-T | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Easy & QuickCheck, MRI Guard 24/7, ComfortDesign DF4, IS-1 connector | 71.5mm x 60mm x 10 mm, 33cm3, 78grams | 524072 |  | July 2026 | New listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | BT267 | 28869 | BIOTRONIK AUSTRALIA PTY LIMITED | Acticor Sky HF-T QP | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, LV Multipole pacing, Home Monitoring w/ Easy & Quickcheck, MRI Guard 24/7, ComfortDesign, DF4,IS-1, IS-4 quadripolar connector. | 75mm x 60mm x 10mm, 35cm3, 82grams | 524073 |  | July 2026 | New listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | BT269 | 28869 | BIOTRONIK AUSTRALIA PTY LIMITED | Rivacor Sky HF-T QP | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, LV Multipole pacing, Home Monitoring w/ Easy & Quickcheck, MRI Guard 24/7, ComfortDesign, DF4,IS-1, IS-4 quadripolar connector. | 75mm x 60mm x 10mm, 35cm3, 82grams | 524077 |  | July 2026 | New listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | BT272 | 28869 | BIOTRONIK AUSTRALIA PTY LIMITED | Rivacor Sky HF-T | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring w/ Easy & QuickCheck, MRI Guard 24/7, ComfortDesign DF4, IS-1 connector | 71.5mm x 60mm x 10 mm, 33cm3, 78grams | 524076 |  | July 2026 | New listing
08 - Cardiac | 08.04 - Single Chamber Pacemakers | 08.04.04 - Leadless pacemaker |  |  | MI556 | 10083 | MEDTRONIC AUSTRALASIA PTY LTD | Micra AV2 Transcatheter Pacemaker | Single chamber transcatheter leadless pacemaker with AV synchrony feature with SureScan technology, including a delivery catheter (MC2AVR1). | 2.59cm length, 0.67cm outer diameter, and 1.75 grams weight | 455510 |  | July 2026 | New listing
08 - Cardiac | 08.08 - Pacemaker Leads | 08.08.09 - Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial |  | CSP (conduction system pacing leads listed together with all required accessories) | BT273 | 1136 | BIOTRONIK AUSTRALIA PTY LIMITED | Solia CSP S | Conduction system pacing lead , Sub 6F, steroid-eluting, transvenous, endocardial, bipolar active fixation lead with a fixed, electrically active screw. MRI conditional plus Selectra 3D Lead Delivery System with Selectra Accessory Kit | Lead Lengths: 53, 60cm; Diameter: 5.6Fr | 194402 194403 506537 |  | July 2026 | New listing
08 - Cardiac | 08.12 - Coronary Stents | 08.12.01 - Drug Eluting | 08.12.01.01 - General Purpose |  | TX071 | 1095 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | ORSIRO Mission | Sirolimus Coronary Artery Stent, Drug Eluting Co/Cr Alloy coated in PLLA | Stent diameters ø 2.25 - 4.0mm Lengths: 9-40mm | 352490 |  | July 2026 | Billing code transferred from BT254 Sponsor transferred from BIOTRONIK AUSTRALIA PTY LIMITED
08 - Cardiac | 08.12 - Coronary Stents | 08.12.02 - Bare Metal | 08.12.02.02 - Special Purpose for specific indications | l, m | TX069 | 2146 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | PK Papyrus Covered Coronary Stent System | Highly flexible, low profile , polyurethane/CoCr Covered Coronary Stent System | Length – 15,20,26mm Diameter – 5F:2.5,3,3.5,4mm 6F:4.5,5mm | 307104 |  | July 2026 | Billing code transferred from BT220 Sponsor transferred from BIOTRONIK AUSTRALIA PTY LIMITED
08 - Cardiac | 08.17 - Catheter Delivery | 08.17.01 - Transcatheter Aortic Valve Implantation |  |  | OX057 | 22932 | MERIL AUSTRALIA PTY LTD | Myval Octacor Transcatheter Heart Valve System | Myval Octacor THV System components including Myval Octacor Transcatheter Heart Valve, Navigator Inception - THV Balloon Delivery System, 14 Fr Python Introducer Sheath, Mammoth OTW Balloon Catheter and Crocodial Compass - Heart Valve Crimping Tool | Myval Octacor THV: 20.0mm - 32.00mm, Navigator Inception: 20.0mm - 32.0mm X 30mm-35mm, Python Introducer Sheath: 14FR, Mammoth OTW Balloon Catheter: 14.0mm-30mm X 40mm. Crocodial Compass - One size only | 527232 |  | July 2026 | New listing
09 - Cardiothoracic | 09.01 - Mechanical Valves | 09.01.01 - Bi-Leaflet, rotatable |  |  | SJ505 | 4962 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Masters Series Paediatric and Mitral Mechanical Heart Valve – Tissue Annulus | rotatable, bi leaflet replacement heart valves | Tissue Annulus Diameter (mm): 15-27 | 526203 526204 526207 |  | July 2026 | New listing
09 - Cardiothoracic | 09.01 - Mechanical Valves | 09.01.01 - Bi-Leaflet, rotatable |  |  | SJ506 | 4962 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Regent Mechanical Heart Valves with Standard Cuff | Aortic bi-leaflet mechanical heart valve prosthesis | Tissue Annulus Diameter (mm): 17-29, Cuff OD (mm): 22.5 - 34.5 | 526701 |  | July 2026 | New listing
10 - Vascular | 10.01 - Vascular Stents | 10.01.01 - Bare Metal Stents | 10.01.01.01 - Balloon Expandable |  | TX070 | 1053 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | Dynetic-35 Peripheral Balloon-Expandable Stent System | Dynetic-35 is a balloon-expandable cobalt chromium alloy (L-605) stent pre-mounted on an over-the-wire PTA balloon catheter delivery system. | Diameter: 5-10mm; Length: 18-78mm; Catheter length: 90-170 cm | 209440 |  | July 2026 | Billing code transferred from BT249 Sponsor transferred from BIOTRONIK AUSTRALIA PTY LIMITED
10 - Vascular | 10.01 - Vascular Stents | 10.01.01 - Bare Metal Stents | 10.01.01.02 - Self Expandable, <150mm |  | TX067 | 1201 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | Pulsar 18 Peripheral self expanding Nitinol stent system | Pulsar 18 self expanding Nitinol stent system | Stent: Ø 4- 7mm length: 20-120mm Catheter length: 90-135mm | 313356 |  | July 2026 | Change to ARTG Billing code transferred from BT126 Sponsor transferred from BIOTRONIK AUSTRALIA PTY LIMITED
10 - Vascular | 10.01 - Vascular Stents | 10.01.01 - Bare Metal Stents | 10.01.01.03 - Self Expandable, ≥150mm |  | TX068 | 1394 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | Pulsar 18 Peripheral self expanding Nitinol stent system | Pulsar 18 self expanding Nitinol stent system | Stent: 4-7mm Stent length: 150-200mm Catheter length: 90-135mm | 313356 |  | July 2026 | Change to ARTG Billing code transferred from BT127 Sponsor transferred from BIOTRONIK AUSTRALIA PTY LIMITED
10 - Vascular | 10.02 - Stent Grafts | 10.02.10 - Tube, Peripheral, Balloon Expandable | 10.02.10.01 - ≤12mm diameter |  | DL007 | 3258 | DIVERSE DEVICES PTY LTD | iCover | Peripheral balloon expandable PTFE covered stent system | diameter 5-10mm length 17-57mm | 526140 |  | July 2026 | New listing
10 - Vascular | 10.04 - Vascular Patches | 10.04.01 - Vascular Patches | 10.04.01.01 - 0 - 100 sq cm |  | BB423 | 166 | B BRAUN AUSTRALIA PTY LTD | Uni-Graft K DV Patches (1, 2, 5 per pack) | Graft, vascular, synthetic (PFTE), impregnated with bovine gelatine supplied in a pack of 1, 2 or 5 patches. | 1cm X 7cm (1 piece per pack i.e. 7cm2); 3cm X 4cm (1 piece per pack i.e. 12cm2); 2cmX 9cm (1 piece per pack i.e. 18cm2); 1cm X 7cm (7cm2 X 2 pieces per pack i.e. 14cm2); 3cm X 4cm (12cm2 X 2 pieces per pack i.e. 14cm2); 2cmX 9cm (18cm2 X 2 pieces per pack i.e. 36cm2); 1cm X 7cm (7cm2 X 5 pieces per pack i.e. 35cm2); 3cm X 4cm (12cm2 X 5 pieces per pack i.e. 60cm2); 2cmX 9cm (18cm2 X 5 pieces per pack i.e. 90cm2) | 135041 |  | July 2026 | New listing
10 - Vascular | 10.08 - Occlusion Devices | 10.08.03 - Polymer | 10.08.03.03 - 2ml |  | OW015 | 295 | MERIT MEDICAL AUSTRALIA PTY LTD | EmboGold Microspheres | EmboGold Microspheres are biocompatible, hydrophilic, non-resorbable, microspheres produced from an acrylic polymer and impregnated with porcine gelatin. The microspheres are mixed with a non-ionic contrast agent are delivered in a controlled manner under visualization and mechanically occlude the feeding vessel(s) to permanently interrupt artery blood flow to the targeted area. | 40-120 microns, 100-300 microns, 300-500 microns, 500-700 microns, 700-900 microns. 900-1200 microns (2ml per implant) | 522465 |  | July 2026 | New listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.07 - Uncemented, Modular | 11.01.07.01 - Grit Blast | Stem | MU244 | 2619 | MEDACTA AUSTRALIA PTY. LTD. | M-vizion Modular Distal Stem Size 1 | Revision Modular Stem | Diameter from 12 to 28 mm Length 140, 180 mm | 527110 |  | July 2026 | New listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.07 - Uncemented, Modular | 11.01.07.04 - Plasma | Body | MU246 | 2619 | MEDACTA AUSTRALIA PTY. LTD. | M-vizion Modular Proximal Body Size 1 with M-vizion Screw | Revision Modular Proximal Body and Locking Screw TiNbN coated | Diameter 20, 24, 28,32 mm, Length 40,50,60,70 | 527111 |  | July 2026 | New listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.09 - Uncemented, Modular, Long Lengths (Stem ≥200mm; Body ≥75mm; Cone ≥70mm; Spacer/Sleeve ≥50mm) | 11.01.09.01 - Grit Blast | Stem | MU245 | 3877 | MEDACTA AUSTRALIA PTY. LTD. | M-vizion Modular Distal Stem Size 2 | Revision Modular Stem | Diameter from 12 to 28 mm Length 220 mm | 527110 |  | July 2026 | New listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.09 - Uncemented, Modular, Long Lengths (Stem ≥200mm; Body ≥75mm; Cone ≥70mm; Spacer/Sleeve ≥50mm) | 11.01.09.04 - Plasma | Body | MU247 | 3793 | MEDACTA AUSTRALIA PTY. LTD. | M-vizion Modular Proximal Body Size 2 with M-vizion Screw | Revision Modular Proximal Body and Locking Screw TiNbN coated | Diameter 20, 24, 28,32 mm, Length 80, 90 mm | 527111 |  | July 2026 | New listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.01 - Cups, Cemented | 11.03.01.02 - Modified polyethylene |  | ZH008 | 786 | ZIMMER BIOMET PTY LTD | Original M.E. Muller Durasul-PE Low Profile Cup | Cemented XLPE Cup | 42-64 (OD) , 28-36 (ID) | 521731 |  | July 2026 | New listing
11 - Hip | 11.04 - ACCESSORIES | 11.04.20 - Spacer- Unique |  |  | YB003 | 1309 | LC & PARTNERS PTY. LTD. | Synicem Spacer with Gentamicin-Hip | The Hip, Knee and Shoulder Spacer is a temporary implant which main function is to preserve the articular space during a Two Stage Revision Arthroplasty. Furthermore it also aids in the treatment of the infection that emerged due to the implant of the hip prosthesis. This procedure consists of first stage during which the infected prosthesis is removed and the spacer is implanted. During the second stage, once the patient has finished the specific treatment and no signs of the infection remain, the spacer is removed to be replaced by a definitive new prosthesis. | 48-M, 56M; 40-C, 48-C, 56-C, 40-CXL, 48-CXL | 491576 |  | July 2026 | New listing
12 - Knee | 12.01 - FEMORAL COMPONENT: TOTAL KNEE ARTHROPLASTY | 12.01.01 - Cemented, Alloy | 12.01.01.03 - Totally Constrained | Revision, Hinged | LO191 | 5887 | LINK ORTHOPAEDICS AUSTRALIA PTY LIMITED | Endo-Model – M Modular Knee System containing Tibial Components; Femoral Components; Replacement Set | Endo-Model – M Modular Knee System, Rotating Hinge, cemented Tibial Components; Femoral Components; Endo-Model Replacement Sets: Tibial Plateaus, Rotating Hinge; and any other ancillary devices | x-small: small: medium: large | 510505 510508 |  | July 2026 | New listing
12 - Knee | 12.03 - TIBIAL TRAY COMPONENT - TOTAL KNEE ARTHROPLASTY | 12.03.02 - Cemented, Alloy |  | Revision, Hinged | LO192 | 3619 | LINK ORTHOPAEDICS AUSTRALIA PTY LIMITED | Endo-Model – M Modular Knee System containing Tibial Components; Femoral Components; Replacement Set | Endo-Model – M Modular Knee System, Rotating Hinge, cemented Tibial Components; Femoral Components; Endo-Model Replacement Sets: Tibial Plateaus, Rotating Hinge; and any other ancillary devices | x-small: small: medium: large | 510505 510508 |  | July 2026 | New listing
12 - Knee | 12.05 - TIBIAL INSERT: TOTAL KNEE ARTHROPLASTY | 12.05.01 - Minimally Stabilised |  |  | JJ998 | 992 | JOHNSON & JOHNSON MEDICAL PTY LTD | ATTUNE MS Insert | ATTUNE Knee System – Medial Stabilised Fixed Bearing Insert | Size 1-10 | 482545 |  | July 2026 | New listing
12 - Knee | 12.09 - TUMOUR PRODUCTS | 12.09.07 - Stems |  |  | LO193 | 2648 | LINK ORTHOPAEDICS AUSTRALIA PTY LIMITED | Endo-Model-M Modular Knee Stem | Endo-Model-M Modular Knee Stem conical cemented PorEx | 50 - 280mm | 510509 |  | July 2026 | New listing
13 - Spinal | 13.01 - Bone Screws | 13.01.01 - Pedicle, Monoaxial |  |  | XV013 | 728 | MDSS AU PTY LIMITED | Vitality Spine System - Monoaxial Pedicle Screws | Monoaxial pedicle Screws Titanium | Diameter = 4.0mm-7.5mm Length= 20mm-55mm | 287242 |  | July 2026 | Billing code transferred from GW084 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | ER853 | 1085 | EMERGO ASIA-PACIFIC PTY. LIMITED | Ulrich Polyaxial Iliosacral Screw | Ulrich Polyaxial Iliosacral Screws with a tulip head. All screws are cannulated to allow placement via guide wire. They can be connected to the rod of an internal fixator directly or via a connector. | Dia: 7.5-10 mm Length: 40-140 mm | 279706 442550 |  | July 2026 | New listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | ER854 | 524 | EMERGO ASIA-PACIFIC PTY. LIMITED | Ulrich uBase Iliosacral Screw Shank | Ulrich uBase Iliosacral Headless Screw Shank is designed to be assembled with an adjustable fixed-angle connection assembly. The screw shanks can be sterile or non sterile. | Dia 7.5-10 mm Length: 40-140 mm | 279706 442550 |  | July 2026 | New listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  |  | XV014 | 996 | MDSS AU PTY LIMITED | Vitality Spine System - Polyaxial Pedicle Screws | Polyaxial Pedicle Screws Titanium | Diameter = 4.0mm-10.5mm Length= 20mm-120mm | 287242 |  | July 2026 | Billing code transferred from GW086 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | MI557 | 524 | MEDTRONIC AUSTRALASIA PTY LTD | CD Horizon ModuLeX Fenestrated Shanks | Fenestrated cannulated polyaxial screw shank | 4.5mm to 10.5mm diameter; 30mm to 80mm length | 422155 |  | July 2026 | New listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | WY004 | 524 | NEOSPINE AUSTRALIA PTY LTD | SOCORE Polyaxial Screw Shank | Polyaxial Iliac Screw Shank | 7mm - 8mm diameter , 50mm to 120mm length | 455157 |  | July 2026 | New listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | KN020 | 186 | ALPHATEC AUSTRALIA PTY LTD | Segmental Plating System: Screws (for use only with interbody cages listed in No Integral Fixation) | Fixed/Variable Angle, Self-Drilling/Self-Tapping, Ti Alloy, for use only with interbody cages listed in No Integral Fixation subgroup | (3.5-4.0)mm x (12-24)mm | 398575 |  | July 2026 | New listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | XV009 | 186 | MDSS AU PTY LIMITED | Anterior Cervical Plate System | Titanium Cancellous Bone Screw | 4 - 20mm | 287242 |  | July 2026 | Billing code transferred from GW078 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | XV010 | 186 | MDSS AU PTY LIMITED | Timberline Lateral Fusion System | Bone Screws | 30-60mm | 287242 |  | July 2026 | Billing code transferred from GW079 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | XV015 | 143 | MDSS AU PTY LIMITED | Vitality Spine System - Set Screw | SET SCREW | One size only | 287242 |  | July 2026 | Billing code transferred from GW089 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.03 - Cap/Cover Plate |  |  | ER855 | 391 | EMERGO ASIA-PACIFIC PTY. LIMITED | Ulrich uBase Iliosacral Screw Shank Head Assembly | the Ulrich uBase Iliosacral Screw Shank Head Assembly consists of easyfit, inlay and nut which when assembled together with a connector provide polyaxial functionality. The parts are supplied non-sterile or sterile. | Connects to 5.5 or 6.0 mm diameter rods | 279706 442550 |  | July 2026 | New listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.03 - Cap/Cover Plate |  |  | XV011 | 391 | MDSS AU PTY LIMITED | Timberline Lateral Fusion System | Cover Plate | 2 and 4 hole | 287242 |  | July 2026 | Billing code transferred from GW080 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.03 - Connector | 13.03.01 - In-Line |  |  | XV016 | 655 | MDSS AU PTY LIMITED | Vitality Spine system - Rod Connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm | 287242 |  | July 2026 | Billing code transferred from GW092 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | XV017 | 705 | MDSS AU PTY LIMITED | Vitality Spine System - Iliac Lateral Connector | Open and Closed Iliac Lateral Connector | 20mm - 50mm | 287242 |  | July 2026 | Billing code transferred from GW094 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | XV018 | 705 | MDSS AU PTY LIMITED | Vitality Spine System - Tandem rod connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm | 287242 |  | July 2026 | Billing code transferred from GW095 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.01 - Fixed |  | XV019 | 389 | MDSS AU PTY LIMITED | Vitality Spine System - Fixed Cross Connector | Fixed length cross connector, titanium | 21mm X 5.5mm - 31mm X 5.5mm & 21mm Wide X 6.0mm - 31mm Wide X 6.0mm | 287242 |  | July 2026 | Billing code transferred from GW096 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | XV020 | 1136 | MDSS AU PTY LIMITED | Vitality Spine System - Multi-Span Cross Connector | Adjustable length cross connector, titanium | 33-36mm Wide X 5.5mm - 70-90mm Wide X 6.0mm | 287242 |  | July 2026 | Billing code transferred from GW099 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | KN013 | 1179 | ALPHATEC AUSTRALIA PTY LTD | Segmental Plating System: Plates (for use only with interbody cages listed in No Integral Fixation) | Plate, Ti Alloy, for use only with interbody cages listed in No Integral Fixation subgroup | 14-22mm | 398575 |  | July 2026 | New listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical | >55mm | LH964 | 908 | LIFEHEALTHCARE PTY LIMITED | CERVICAL SPINE TRUSS SYSTEM PLATING SOLUTION (CSTS-PS) Plates | Anterior cervical plate, for use on its own or with interbody cages listed in No Integral Fixation subgroup | 57 to 115mm | 522809 |  | July 2026 | New listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | LH967 | 1179 | LIFEHEALTHCARE PTY LIMITED | CERVICAL SPINE TRUSS SYSTEM PLATING SOLUTION (CSTS-PS) Plates | Anterior cervical plate 16 to 54mm, for use on its own or with interbody cages listed in No Integral Fixation subgroup | 16 to 54mm | 522809 |  | July 2026 | New listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | KN019 | 2039 | ALPHATEC AUSTRALIA PTY LTD | AMP II Plate for use with IdentiTI II LIF Interbody cages listed in No-Integral Fixation subgroup | Anti-Migration Plate for IdentiTI II LIF Interbody cages listed in No-Integral Fixation subgroup, Ti Alloy | Size 4 to 12 - (16.4 to 22.4)mm length, 1 or 2 screw hole. | 398793 |  | July 2026 | New listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | LH963 | 2039 | LIFEHEALTHCARE PTY LIMITED | Lumbar Spine Truss System Plating Solution (LSTS-PS) for use on its or with no integral cages | Non-integrated lumbar plate for use as stand alone or with interbody cages listed in No Integral Fixation subgroup | 2 and 4 hole plates, 30- 45mm in height | 522810 |  | July 2026 | New listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | XV012 | 2039 | MDSS AU PTY LIMITED | Timberline Lateral Fusion System | Lateral Plate | 6-16mm | 287242 |  | July 2026 | Billing code transferred from GW081 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | XV008 | 340 | MDSS AU PTY LIMITED | Vitality Spine System - Rods | Straight and contoured rods titanium and CoCR | 5.5 x 25mm - 5.5 x 510mm & 6 x 25mm - 6 x 510mm | 287242 |  | July 2026 | Billing code transferred from GW072 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Shaped | XV021 | 555 | MDSS AU PTY LIMITED | Vitalign S-Rods | S Rod / Titanium alloy and Cobalt Chrome | (5.5 - 6.0)mm diameter x (400-510)mm length, CoCr Ti Alloy | 287242 |  | July 2026 | Billing code transferred from GW103 Sponsor transferred from EQUINOX MEDICAL PTY LTD
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | ER859 | 4161 | EMERGO ASIA-PACIFIC PTY. LIMITED | Hexanium ACIF | Integrated ACDF Cage with screws for Integral Fixation | Cage Height 5mm-12mm, Small, Medium, Large Screw Length 10-16mm | 421975 |  | July 2026 | Billing code transferred from QQ326 Sponsor transferred from PRECISION SURGICAL PTY LTD
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | LH966 | 4161 | LIFEHEALTHCARE PTY LIMITED | Cervical Spine Truss System (CSTS) 2.0 | Integrated Cervical Interbody Fusion device - cage, plate and screws | Cage 15-19 (W) X 12-16 (D) x 5 -12mm, 0 - 12 Degree, plate 16 -23mm, screw 3.5-3.8 x 12-18mm | 522797 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | ER852 | 5948 | EMERGO ASIA-PACIFIC PTY. LIMITED | Clariance Idys-ALIF ZP 3DTi Fusion Cage with screws | The Idys-ALIF ZP 3DTi is a lumbar interbody fusion device, made from medical grade Titanium alloy and is to be used with bone graft and/or allogeneic bone graft composed of cancellous and/or corticocancellous bone. The Idys-ALIF ZP 3DTi is a standalone system intended to be used with four (4) bone screws, bone graft and requires no additional supplementary fixation. It is supplied with 4 bone screws. | Cage: (27-34 mm) x (32-40 mm); height 12-18 mm; Lordosis 6-18 degrees; Screw: Dia 5 mm; Length 20-35 mm | 509866 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | KN014 | 2188 | ALPHATEC AUSTRALIA PTY LTD | IdentiTi II Cervical Interbody System | Spinal Cage, Ti Alloy | 5-10mm x (14x12mm; 16x14mm; 18x16mm). 7-10 Degrees | 397837 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | KN015 | 2188 | ALPHATEC AUSTRALIA PTY LTD | IdentiTi II Cervical Max Contact Interbody System | Spinal Cage, Ti Alloy | 5-10mm x (19x12mm; 21x14mm; 23x15mm). 6-12 Degrees | 397837 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | KN016 | 2188 | ALPHATEC AUSTRALIA PTY LTD | Transcend NanoTec SPS | Spinal Cage, PEEK, HA | 5-10mm x (14x12mm; 16x14mm; 18x16mm). 7-10 Degrees | 398574 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | EY056 | 2188 | E4 SURGICAL PTY LTD | CHM Cervical Intervertebral Cage | Cervical Interbody Cage. Biomaterials: Titanium, PEEK, or PEEK with Tantalum spikes. Design variants: Angular, Convex, Angular with Tantalum markers, Convex with Tantalum markers. | Height: 4-10mm, Footprints: 13x11mm, 15x12mm, 17x13mm, Lordosis: 5 degrees | 523091 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | LH965 | 2188 | LIFEHEALTHCARE PTY LIMITED | Cervical Spine Truss System (CSTS) 2.0 | Cervical Interbody Fusion device (non-integral use only) | 15-19 (W) X 14-16 (D) x 5 -12mm, 0 - 12 Degree | 522797 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | KN011 | 3313 | ALPHATEC AUSTRALIA PTY LTD | Calibrate NanoTec PSX Interbody System | Expandable Cage, Ti alloy, Hydroxyapatite | (7-12) mm x (10-18) mm x (25-30) mm. (0-20) degree lordosis | 397837 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | KN012 | 3313 | ALPHATEC AUSTRALIA PTY LTD | IdentiTi II Posterior Curved Interbody System | Spinal Cage, Ti Alloy | (6-18)mm x (10-14)mm x (25-40)mm x (5-20) Deg | 397837 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | BF035 | 2222 | MATRIX MEDICAL INNOVATIONS PTY LTD | BEE PLIF Cage | Titanium PLIF Cage | Lordosis 0-18 degrees, Nominal height 7-16mm, Width 8-9.5mm, Length 24mm | 499728 |  | July 2026 | New listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | NV180 | 3313 | NUVASIVE (AUST/NZ) PTY LTD | Cohere XLIF (Cohere XL, Cohere XLW) | PEEK Thoracolumbar Interbody | Width 18-22mm x Length 45-60mm x Height 8-12mm x Lordosis 10-15 degrees | 339307 |  | July 2026 | New listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | Cervical | KN017 | 2755 | ALPHATEC AUSTRALIA PTY LTD | Ascend NanoTec VBR System - Ascend 12mm Vertebral Body Replacement System | Vertebral Body Expandable Core, Ti alloy and CoCr alloy | 14-105mm; 0 deg x 0 deg; 0 deg x 7 deg; 0 deg x 10 deg; 7 deg x 0 deg; 7 deg x 7 deg; 7 deg x 10 deg; 10 deg x 0 deg; 10 deg x 7 deg; 10 deg x 10 deg | 490271 |  | July 2026 | New listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | KN018 | 928 | ALPHATEC AUSTRALIA PTY LTD | Ascend NanoTec VBR System - Ascend 12mm Vertebral Body Replacement System | End Plate for 12mm Core, Ti Alloy, Hydroxyapatite | BAN (12-18mm x 20-50mm x 0-10 Deg); KBN (12-18mm x 20-50mm x 5-10 Deg); LAT (16-22mm x 25-60mm x 0-10 Deg); RND (Diameter 12-28mm x 0-10 Deg); TRP (14-20mm x 12-16mm x 0-10 Deg) | 490271 |  | July 2026 | New listing