Changed Detail Items for Prostheses List	July 2007	Attachment 3

Billing Code	Product Name	Further Description	Size	Explanation of Change

Abbott Australasia Pty Ltd

Cardio-thoracic

GU102	Stents 	ACS Multilink Coronary Stent; ACS Megalink 	1.5mm - 8.0mm	Change of sponsor.

Peripheral Stent; ACS RX Herculink Peripheral

Stent. Stainless steel

GU105	Multilink Coronary Stent System	Stainless Steel	Length 1.5mm - 8.0mm	Change of sponsor.

Vascular

GU058	Dynalink Peripheral Self Expanding Stent System	-	Lengths 80cm and 120cm, Sizes range  	Change of sponsor

from 5mm x 28mm to 10mm x 56mm

GU071	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm length	Change of sponsor

Boston Scientific Pty Ltd

Endoscopic Products

BS117	WallFlex Biliary RX Stent	TTS, closed cell, catheter delivery system, 	Lengths up to 10cm	New Listing

Product name changed due to

administrative error

Corin Australia Pty Ltd

Orthopaedic

CR100	Integrale Modular Stem	HA Coated	7 Sizes	New Listing

Name changed due to administrative

Medical Device Alliance Pty Ltd

Plastic and Reconstructive

MP041	Tissue Expander	Double Chamber, Smooth, 	320-850	Product name, description and size

Remote port	changed as requested by sponsor.

Model # 730	Product name changed as a result of

administrative error

Plus Orthopedics Australia Pty Ltd

Orthopaedic

PL106	PLUS Hip Joint Prosthesis System	MPF Cup - Acetabular shell	46 - 68mm	Benefits changed as a result of the June

2007 review

Size changed due to administrative error

Changed Detail Items for Prostheses List Report	Page 1 of 1