PART A - Prostheses

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Abbott Australasia Pty Ltd

AY012	JoStent Coronary Stent Graft	Stainless Steel/PTFE	9 - 26 mm x 2.5 - 5 mm	$3,222.00

AY013	JoStent F1 Coronary Stent	Stainless Steel	9 - 26 mm x 2.5 - 4 mm	$780.00

AY020	TriMaxx Coronary Stent	Triplex, multicellular	Length 8-28mm; Diameter 2.25-	$1,248.00

4.00mm

GU102	Stents 	ACS Multilink Coronary Stent; ACS 	1.5mm - 8.0mm	$1,248.00

Megalink Peripheral Stent; ACS RX Herculink

Peripheral Stent. Stainless steel

GU105	Multilink Coronary Stent System	Stainless Steel	Length 1.5mm - 8.0mm	$1,248.00

Advanced Biomedical Pty Ltd

AB001	ATS Medical open pivot aortic valved graft 	Pyrolythic Carbon, Double Velour Polyester, 	21- 33mm	$6,800.00

model 502AG	Titanium

AB002	ATS medical open pivot heart valve model 	Pyrolythic Carbon, Double Velour Polyester, 	16-33mm	$5,909.00

500FA standard flexi-cuff aortic valve series, 	Titanium

ATS medical open pivot heart valve model

500DM standard flexi-cuff mitral valve series

AB064	ATS medical open pivot heart valve model 	Pyrolythic Carbon, Double Velour Polyester, 	16-33mm	$5,909.00

501DA advanced performance (AP) aortic valve	Titanium

series, ATS medical open pivot heart valve

model 501DM advanced performance (AP)

mitral valve series

Atrium Australia-Pacific Rim Pty Ltd

AC022	Flyer RX Coronary Stent System	Stainless Steel Coronary Stent	Dia 2-5mm, Length 6-40mm	$780.00

Bio Excel Pty Ltd

DA001	S-Stent SRX1	316L Stainless Steel	SRX1 - 2510 2.5 x 8.5mm; SRX1 -	$600.00

3010 3.0 x 8.5mm; SRX1 - 3510L

3.5 x 8.5mm; SRX1 - 4010L 4.0 x

8.5mm; SRX1- 2512 2.5 x 11mm;

SRX1 23012 3.0 x 11mm; SRX1 -

3512L 3.5 x 11mm; SRX1 - 4012L

4.0 x 11mm; SRX1 - 2515 2.5 x

14.4mm; SRX1 - 3015 3.0 x

14.4mm; SRX1 - 3515L 3

Prostheses List by Category and Sponsor	Page 1 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Biomet Australia Pty Ltd

BI929	Sternalock	Screws Ti	2.4-2.7mm x 8-12mm	$44.00

BI930	Sternalock	Plates - xyphoid, "L" & square	4 hole	$195.00

BI931	Sternalock	Plates - "X" & "T"	5-8 hole	$300.00

Biotronik Australia Pty Ltd

BT024	Philos DR Model 122450 Implantable 	Multiprogrammable, rate responsive, DDDR	One size only	$9,360.00

Pacemaker

BT027	Philos SLR Model 122456 Implantable 	Single pass, multiprogrammable, rate 	One size only	$6,760.00

Pacemaker	responsive, VDDR

BT028	Philos SR Model 122459 Implantable 	Multiprogrammable, rate responsive, SSIR	One size only	$5,928.00

Pacemaker

BT029	Philos DR-A Model 122600 Implantable 	Multiprogrammable, rate responsive, DDDR	5mm ports, One size only	$9,360.00

Pacemaker

BT030	Philos SR-B Model 122610 Implantable 	Multiprogrammable, rate responsive, SSIR	5/6mm port, One size only	$5,928.00

Pacemaker

BT036	PHILOS S Implantable Cardiac Pulse 	Multiprogrammable SSI	One size only	$4,264.00

Generator Cat No 122 453

BT046	Protos VR/CLS	Single chamber rate responsive, closed loop 	One size only	$5,928.00

system.

BT047	Protos DR/CLS	Dual chamber, rate responsive, closed loop 	One size only.	$9,360.00

system.

BT052	Cardiac Airbag	Single chamber ICD rate responsive pacing.	One size only.	$15,600.00

BT053	Lexos DR	Dual chamber ICD, rate responsive pacing.	One size only.	$43,680.00

BT054	Lexos VR	Single chamber ICD, Rate responsive pacing	One size only.	$36,400.00

BT055	Lexos A+	Single chamber ICD, rate responsive pricing, 	One size only.	$40,560.00

dual chamber sensing.

BT056	Stratos LV	Multiprogrammable, Biventricular, DDDRV	One size only	$12,480.00

BT058	Lekton Motion	Coated flexible stent, Balloon mounted	Diameter 2.5mm to 4mm, Length 8 	$1,248.00

- 30mm

BT060	Philos II DR	Multiprogrammable, rate responsive, DDDR	One size only	$9,360.00

BT062	Philos II SR	Multiprogrammable, Rate Responsive, SSIR 	One size only	$5,928.00

pacemaker

BT063	Selox SR	Lead, pacemaker, implantable, endocardial	45, 53, 60cm length	$1,248.00

Prostheses List by Category and Sponsor	Page 2 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BT064	Kentrox SL-S steroid	Fractal coated steroid electrode, dual shock coil	16 and 18 cms tip to second shock 	$7,488.00

coil

BT065	Lekton Motion Mega	Amorphous silicon carbide coated	Diameter 4.5 and 5 mm; Length 13 	$1,248.00

- 40 mm

BT066	Selox ST	Transvenous Bipolar Passive Steroid 	53 and 60cm lengths	$1,248.00

Ventricular Pacing Lead, fractal coated

BT067	Selox JT	Fractal coated steroid electrode	45 and 53cm lengths	$1,248.00

BT068	Kentrox RV-S steroid	Fractal coated steroid electrode, single shock 	65cm lengths	$7,488.00

coil

BT069	Lekton Motion Petite	Amorphous silicon carbide coated	Diameter 2, 2.25, 2.5mm; Length 8-	$1,248.00

20mm

BT070	Corox OTW UP Steroid	Coronary Sinus Lead	77, 87cm	$3,000.00

BT071	Philos II DR-T	Dual Chamber Rate Responsive with Home 	One size only	$9,360.00

Monitoring

BT074	Xelos DR-T	High energy ICD with home monitoring. Dual	Packed in one small size	$45,760.00

chamber

BT075	Lumos VR-T	Single Chamber ICD with home monitoring 	one size only	$40,560.00

and IEGM online

BT076	Lumos DR-T	Dual Chamber ICD with home monitoring	one size only	$43,680.00

BT077	Kentrox SL steriod	Dual shock coil fractal steroid eluting passive 	65, 75cm lengths	$9,000.00

fixation electrode

BT078	Kentrox RV Steroid	single shock coil fractal steroid eluting passive 	65, 75 cm lenghts	$9,000.00

fixation electrode

BT079	Cylos DR-T	Dual chamber dual sensor rate responsive with 	one size	$9,360.00

home monitoring system option

BT080	Cylos VR	single chamber dual sensor rate responsive	one size only	$5,700.00

BT081	Kronos LV-T	CRT ICD with home monitoring	one size	$40,560.00

BT082	PRO-Kinetic	Cobalth Chromium coronary stent system	8-40mm length 2-5mm diameter	$1,200.00

BT083	Setrox S	Bipolar active fixation lead with fractal coated 	length 45, 53, 60cm	$1,248.00

and steroid eluting electrode

BT084	Linox SD	Fractal coated and steroid electrode, active 	65, 75cm length, 16, 18mm elec dis	$9,360.00

fixation quadrapolar

BT085	Stratos LV-T	Multiprogrammable Biventricular DDDRV 	One size only	$12,480.00

with Home Monitoring

Prostheses List by Category and Sponsor	Page 3 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Boston Scientific Pty Ltd

BS069	Express 2/Liberte Coronary Stent System,	Consists of a balloon expandable stent, pre-	Stent lengths: 8,12,16,20,24,28 & 	$1,248.00

mounted on a Maverick 2 Monorail delivery 	32 mm Stent diameters: 2.25, 2.5,

catheter.	2.75, 3.0, 3.5, 4.0, 4.5 & 5.0 mm

BS074	Taxus on Express2 Coronary Stent System 	balloon expandable stent with conformal 	Length 8 - 32mm; Diameter 2.25 - 	$3,450.00

Models 38001-0822 to 0840; 38001-1222 to 	polymer/drug matrix coating, pre-mounted on 	5.0mm

1250; 38001-1622 to 1650;	high pressure monorail delivery catheter

38001-2022 to 2050; 38001-2422 to 2450;

38001-2827 to 2850; 38001-3227 to

3250

BS099	Taxus Liberte Paclitaxel-Eluting Coronary 	316L Stainless Steel Stent with Translute 	2.0mm-5.0mm & 8mm-32mm	$3,450.00

Stent System	Polymer and Paclitaxel

BS112	Contak Renewal 4 RF CRT-D	CRT-D with RF telemetry, IS-1 connector 	39cc, 82g	$47,840.00

H230

BS113	Contak Renewal 4 RF CRT-D	CRT-D with RF telemetry, IS-1 connector 	39cc, 82g	$47,840.00

H235

BS114	Contak Renewal 4 RF CRT-D	CRT-D with RF telemetry, IS-1 connector 	43cc, 90g	$47,840.00

H239 High Energy

Edwards Lifesciences Pty Ltd

EL028	Baxter Sterile Grafts, Implants & Prostheses, 	Carpentier-Edwards Classic Annuloplasty 	24mm-40mm	$2,200.00

Non-Animal Origin Annuloplasty: Ring-Mitral	Ring. Composition: Titanium Alloy; Silicone

Ring with Holder; Mitral Cosgrove-Edwards 	 Rubber; Polyester Fabric Carpentier-Edwards

Annuloplasty System Model 4600; Classic 	Physio Annuloplasty Ring. Composition:

Annuloplasty Ring-Tricuspid	Elgiloy Bands; Polyester Film Strips; Silicone

Rubber; Polyester Cloth, Cosgrove-Edwards

Annuloplasty Band. Composition: Silicone

Rubber; Polyester Cloth. Carpentier-Edwards

Tricuspid Ring. Composition: Titanium

Alloy; Silicone Rubber; Polyester Fabric

EL029	SE SIL Ball Valve Aortic Models 1200/1260, 	Starr Edwards - Silastic Ball Valve. 	16mm-34mm	$3,850.00

SE SIL Ball Valve Mitral Model 6120	Composition: Stellite Alloy No. 21;

Polytetrafluroethelyne; polypropylene cloth;

Silicone rubber (contains 2% by weight barium

sulphate for radiopacity)

EL030	CE Supra Annular Aortic Valve Model 2650 	Carpentier-Edwards SAV Bioprosthesis. 	19mm-33mm	$4,350.00

Carpentier-Edwards S.A.V Bioprosthesis 	Composition: Porcine Valve; Elgiloy Alloy;

Model 6650 Mitral Valve	Silicone Rubber, Polytetrafluoroethylene

Prostheses List by Category and Sponsor	Page 4 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EL031	Carpentier-Edwards Perimount Pericardial 	Carpentier-Edwards Pericardial Bioprosthesis. 	Models 2900/6900 19-33mm, 	$4,900.00	$5,144.00

Bioprosthesis - Models 2900/6900  Carpentier-	Composition: Bovine Pericardium; Elgiloy 	Model 6900P 25, 27, 29, 31, 33mm

Edwards Perimount Plus Pericardial 	Alloy; Silicone Rubber,

Bioprosthesis Mitral - Model 6900P	Polytetrafluoroethylene

EL032	Baxter Edwards Prima Plus Stentless 	Edwards Prima Plus. Porcine Valve; Woven 	19mm-29mm for pack of 7 items	$4,600.00

Bioprosthesis Model 2500P Prosthetic Heart 	Polyester Cloth.

Valve

EL033	Baxter Augmentation / Substitution Material, 	Edwards Pericardial Patch. Bovine Pericardium.	10cm x 16cm	$740.00

Human or Animal Origin, Sterile Pericardial

Patch.

EL039	Edwards Perimount Magna Model 3000	Carpentier-Edwards Perimount Magna 	19MM Aortic Pericardial Tissue 	$4,900.00	$5,690.00

composition: Glutaraldehyde treated bovine 	Valve; 21MM Aortic Pericardial

pericardium/elgiloy wireform stent/polyester 	Tissue Valve; 23MM Aortic

band/silicone rubber suture 	Pericardial Tissue Valve; 25MM

ring/polytetrafluoroethylene cloth/polyester 	Aortic Pericardial Tissue Valve;

cloth.	27MM Aortic Pericardial Tissue

Valve; 29MM Aortic Pericardial

Tissue Valve

EL049	Edwards Etlogix Annuloplasty Ring	Titanium/silicon/dacron polyester cloth/plastic	24mm/26mm/28mm/30mm/32mm/	$2,350.00

template Mitral valve annular repair device 	34mmd

designed specifically for patients with Ischemic

Mitral regurgitation

EL050	Edwards MC3 Tricuspid Annuloplasty System	Annuloplasty Ring, titanium/silicone/polyester	26mm to 36mm in 2mm increment	$2,350.00

velour cloth/plastic template

Guidant Australia Pty Ltd

GU009	Fineline II Sterox IROX Lead	Model 4458, Model 4459	52cm, 58cm	$1,248.00

GU011	Fineline II Sterox IROX Lead	Model 4456, Model 4457	52cm, 58cm	$1,248.00

GU012	Fineline II Sterox IROX Lead	Model 4479, Model 4480	45cm, 52cm	$1,248.00

GU013	Fineline II EZ Sterox IROX Lead	Model 4472, Model 4473 & Model 4474	45cm, 52cm, 58cm	$1,248.00

GU016	Fineline II EZ Sterox IROX Lead	Model 4469, Model 4470 & Model 4471	45cm, 52cm, 58cm	$1,248.00

GU023	Guidant Aust Selute Picotip Steroid Eluting 	Model 4033, Model 4034, Model 4035, 	45cm , 52cm, 59cm	$1,248.00

Bipolar Lead	Model 4063, Model 4064

GU028	Guidant Aust Selute Picotip VDD Lead	Model 4340, Model 4341, Model 4342 & 	$1,544.00

Model 4343

Prostheses List by Category and Sponsor	Page 5 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GU037	Myocardial Pacing Lead	Model 4312 and 4316	54cm and 35cm	$1,144.00

GU056	Easytrak Lead	Model 4510, Model 4511, Model 4512 	65cm, 72cm, 80cm	$3,120.00

Transvenous Coronary Sinus Lead

GU079	Pulsar Model VDD 870	Titanium	3.2mm/IS-1	$5,200.00

GU107	Ventak Prizm HE DR	Model 1853 & Model 1858, titanium, dual 	One size only	$40,560.00

chamber, adaptive rate

GU110	Ventak Prizm II VR	Model 1860, titanium, single chamber, 	One size only	$40,560.00

adaptive rate

GU111	Ventak Prizm II DR	Model 1861, titanium, dual chamber, adaptive 	One size only	$43,680.00

rate

GU112	Endotak Reliance S Lead	Model 0127 & Model 0128, defibrillation 	59cm, 64cm	$7,500.00

lead, 9fr introducer (silicone coated), steroid

eluting, high impedence

GU115	Endotak Reliance Lead	Model 0147, Model 0148 & Model 0149, 	59cm, 64cm, 90cm	$7,500.00

defibrillation lead, 9fr introducer (silicone

coated), steroid eluting, high impedence

GU118	Endotak Endurance EZ Leads Model 0154, 	Defibrillation lead, steroid eluting, trilumen 	64, 70, 100cm	$7,500.00

Model 0155, Model 0156	lead body contains one conductor for

pacing/sensing and two conductors for

defibrillation.  The helix is composed of

platinum iridium.

GU120	Insignia Plus DR Model 1297, Insignia Plus 	Dual Chamber Rate Responsive Permanent 	One size only	$9,360.00

DR Model 1298	Pacemaker

GU121	Insignia Entra DR Models 1294,1295,1296	Dual Chamber Rate Responsive Permanent 	One size only	$9,360.00

Pacemaker

GU122	Flextend Lead Models 4086, 4087 & 4088	Bipolar, steroid eluting, transvenous silicon 	45,52,59cm	$1,248.00

pace/sense leads with an extendable/retractable

active fixation for implantation into the atrium

or ventricle

GU123	Endotak SQ Array XP Lead Model 0085	Endotak SQ Array XP Lead Model 0085 is 	70 cm	$4,680.00

used in addition to an Endotak endocardial

leads for patients with a high DFT

(Defibrillation Threshold)

GU124	Insignia Entra SR Models 1195 & 1198	Single Chamber Rate Responsive Permanent 	One size only	$5,928.00

Pacemaker

Prostheses List by Category and Sponsor	Page 6 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GU126	Insignia Plus SR Model 1194	Single Chamber Rate Responsive Permanent 	One size only	$5,928.00

Pacemaker

GU127	Multilink Coronary Stent System - Frontier	316L Stainless steel stent	Length 1.5 - 8.0mm	$2,496.00

GU128	Multilink Coronary Stent System - Vision	Cobalt chrome stent	Length 1.5 - 8.0mm	$1,248.00

GU129	LV-1 Lead Adaptor to IS-1	Connects Left ventricular leads to IS-1 ports in	One size only	$500.00

pacemakers and defibrillators to replace

abnormal cardiac excitation

GU130	Y Adaptor	Connects multiple defibrillator electrodes to a 	One size only	$500.00

common port, enabling the use of shocks to

revert Ventricular Tachycardia and normal

cardiac function to return

GU132	Vitality DR Model 1871	This device acts to defibrillate the heart 	Model 1871 Vitality DR Dual 	$43,680.00

chambers when the patient enters into an 	Chamber Rate Responsive

arrhythmia or uses shocks or anti tachy pacing 	Pacemaker/Defibrillator

to revert Ventricular Tachycardia (VT) or

Ventricular Fibrillation (VF). While also

acting as a dual chamber pacemaker.

GU133	Vitality VR Model 1870	This device acts to defibrillate the heart 	Model 1870 Vitality VR Single 	$40,560.00

chambers when the patient enters into an 	Chamber Rate Responsive

arrhythmia or uses shocks or anti tachy pacing 	Pacemaker/Defibrillator

to revert Ventricular Tachycardia (VT) or

Ventricular Fibrillation (VF). While also

acting as a single chamber pacemaker.

GU134	Contak Renewal 2	This device acts to defibrillate the heart 	One Size Only	$45,760.00

chambers when the patient enters into an

arrhythmia or uses shocks or anti tachy pacing

to revert Ventricular Tachycardia (VT) or

Ventricular Fibrillation (VF). While also

acting as a biventricular pacemaker.

GU137	Vitality AVT	Dual chamber defibrillator, with atrial and 	One size only	$45,760.00

ventricular therapy

GU138	Easytrak 2, Model 4514,4515, 4516, 4517, 	The Easytrak 2 lead is a dual electrode version 	$6,240.00

4518, 4519, 4520	of the Easytrak lead.  The Easytrak 2 lead is a

coronary sinus lead, steroid eluting, dual

electrode, pace/sense lead.  The lead provides

chronic pacing and sensing of the left ventricle

by placement in the coronary venous

vasculature.

Prostheses List by Category and Sponsor	Page 7 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GU139	Insignia Ultra SR Lodel 1190	Implantable Cardiac Pacemaker	One size only	$5,928.00

GU140	Insignia Ultra DR Model 1291	Implantable Cardiac Pacemaker	One size only	$9,360.00

GU141	Insignia Ultra DR Model 1290	Implantable Cardiac Pacemaker	One size only	$9,360.00

GU142	Contak Renewal TR2 CRT - P Model H140, 	Implantable Cardiac pacemaker	45x54x8.5mm, 14cc, 26gm	$12,480.00

Model H145

GU143	Contak Renewal TR CRT -P Model H120, 	Implantable cardiac pacemaker	45x54x8.5mm, 14cc, 26gm	$9,360.00

Model H125

GU144	Contak Renewal 4 HE CRT-D Model H197, 	Implantable dual-chamber defibrillator	one size only	$47,840.00

Model H199

GU145	Endotak Reliance G Lead Model 0164, Model 	Implantable defibrillator/pacemaker lead	Lead Lengths: 59 - 90cm	$9,000.00

0165, Model 0166, Model 0167

GU146	Endotak Reliance SG Lead Model 0160, 	Implantable defibrillator/pacemaker lead	Lead Lengths: 59 - 90cm	$9,000.00

Model 0161, Model 0162, Model 0163

GU147	Contak Renewal 4 CRT-D Model H190, 	Implantable dual-chamber defibrillator	One size only	$45,760.00

Model H195

GU148	Vitality 2 EL VR - Model T177	Implantable Cardiac Defibrillator	35cc 90g	$40,560.00

GU149	Vitality 2 DR - Model T165	Implantable Cardiac Defibrillator	30cc ; 82g	$43,680.00

GU150	Vitality 2 EL DR - Model T167	Implantable cardiac Defibrillator	35cc ; 90g	$43,680.00

GU151	Vitality 2 VR - Model T 175	Implantable cardiac defibrillator	30cc; 82g	$40,560.00

GU152	Easytrak IS-1 Lead, Models 4535 to 4538	Implantable left ventricular pacemaker lead	80 - 90cm	$3,120.00

GU153	Easytrak 2 Is-1 Lead - Models 4542, 4543 & 	Implantable left ventricular pacemaker lead	80 to 100cm	$6,240.00

4544

GU154	Contak Renewal 4 AVT CRT -D - Model 	Implantable Cardioverter Defibrillator with 	37cc; 89g	$50,960.00

M170 and M175	Cardiac Resynchronisation Therapy

GU155	Contak Renewal 4 AVT HE CRT - D - Model	Implantable Cardioverter Defibrillator with 	40cc; 89g	$52,000.00

M177, M179	cardiac resynchronisation Therapy

GU156	Easytrak 3 Lead - Models 4521, 4522, 4523, 	Implantable left ventricular pacemaker lead	80 to 100cm	$6,240.00

4524, 4525, 4526 and 4527

GU157	Vitality AVT - Model A155	Implantable cardiac defibrillator with both 	30cc	$45,760.00

Atrial and Ventricular tachyarrhythmia therapy

Prostheses List by Category and Sponsor	Page 8 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GU158	Endotak Reliance SG Passive Fixation Lead	Endotak Reliance SG Passive Fixation Lead: 	54cm - 90cm	$7,200.00

Models 0170, 0171, 0172, and 0173

Implantable cardioverter defibrillator lead with

GORE ™ ePTFE covered coils.

GU159	Endotak Reliance G Passive Fixation Lead	Endotak Reliance G Passive Fixation Lead: 	54cm -90cm	$7,200.00

Models 0174, 0175, 0176 and 0177.

Implantable Cardioverter defibrillator lead with

GORE ™ ePTFE covered coils

GU160	Endotak Reliance Active Fixation Lead	Endotak Reliance Active Fixation Lead: 	54cm - 90cm	$7,200.00

Models 0157, 0158 and 0159 Implantable

cardioverter defibrillator lead

GU161	Endotak Reliance S Active Fixation Lead	Endotak Reliance S Active Fixation Lead: 	54cm - 90cm	$7,200.00

Models 0137, 0138 and 0139

GU162	Easytrak 3 IS-1 Lead	Models 4548, 4549 and 4550. Silicone and 	Sizes 80 to 100cm	$6,240.00

polyurethane insulation and polyurethane

protective sleeve

GU163	ENDOTAK RELIANCE G Lead 018 Series	Endotak Reliance G Lead: Models 0184 to 	59-90cm	$7,200.00

0187.  Implantable cardioverter defribrillator

lead.  Active fixation.

GU164	ENDOTAK RELIANCE SG Lead 018 Series	Endotak Reliance SG Lead: Models 0180 to 	59-90cm	$7,200.00

0183.  Implantable cardioverter defibrillator

lead.  Active fixation.

GU165	Acuity Steerable Lead	Steerable IS-1 bipolar CS LV Lead	80cm, 90 cm, 100cm	$6,240.00

Models 4554, 4555, 4556

Johnson & Johnson Medical Pty Ltd

JJ026	BX Velocity with Hepacoat System	Balloon expandable, stainless steel, heparin 	$1,220.00

coated

JJ200	BX Velocity Stent and Delivery System	Stainless steel stent	Diameter: 2.25-5.0 mm; Length 8 - 	$1,220.00

33 mm

JJ239	BX Sonic	Stainless steel coronary stent mounted on a 	Dia 2.25 - 4.0mm, lengths 8 - 	$1,220.00

balloon delivery system	33mm

Prostheses List by Category and Sponsor	Page 9 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ302	CYPHER Sirolimus-Eluting Stent & Delivery	Stainless steel coronary stent with Rapamycin 	Diameter 2.25 - 5.0mm, length 8-	$3,450.00

System Model  CRS - 23300, 08225, 08250, 	(an immunosuppressive and antiproliferative 	33mm

08275, 08300, 28225, 28250, 28275, 28300, 	drug) bound to the stent struts

33225, 33250, 33275, 33300, 13225, 13250,

13275, 18225, 18250, 18275, 18300, 23225,

23250, 23275, 23350, 23400, 08350, 08400,

28350, 28400, 33350, 33400, 13300, 13350,

13400, 18350, 18400, 23450, 23500, 28450,

28500, 33450, 33500, 08450, 13450, 18450,

18500

JJ481	CYPHER SELECT Sirolimus-Eluting Stent 	Stainless steel coronary stent with Sirolimus 	Diameter 2.25 - 5.0mm, length 8 - 	$3,450.00

& Delivery System	(an immunosuppressive and anti-proliferative 	33mm

drug) bound to the stent by a polymer. Model

CRA-23300, 08225, 08250, 08275, 08300,

28225, 28250, 28275, 28300, 33225, 33250,

33275, 33300, 13225, 13250, 13275, 18225,

18250, 18275, 18300, 23225, 23250, 23275,

23350, 23400, 08350, 08400, 28350, 238400,

33350, 33400, 13300, 13350, 13400, 18350,

18400, 23450, 23500, 28450, 28500, 33450,

33500, 08450, 13450, 18450, 18500

JJ587	CYPHER Select Plus Sirolimus Eluting 	Stainless steel coronary stent with Sirolimus 	Diameter 2.25 - 5.00mm, Length 8 -	$3,450.00

Coronary Stent	bound to the stent by a polymer	 33mm

Medtel Australia Pty Ltd

ME065	Amplatzer Duct Occluder	Nitinol Wire Mesh	5 - 24mm	$10,200.00

ME066	Amplatzer Septal Occluder	Nitinol Wire Mesh	4mm - 40mm	$10,200.00

ME067	Amplatzer Muscular VSD Occluder	Nitinol Wire Mesh	4 - 24mm	$10,200.00

ME068	Amplatzer PFO Occluder	Nitinol Wire Mesh	25mm & 35mm	$10,200.00

ME074	Amplatzer Membranous VSD Occluder	Nitinol wire mesh, double disc occluder and 	4-24mm, Length 7-10mm	$10,200.00

delivery system

Medtronic Australasia Pty Ltd

MC002	Medtronic Sprint Quattro Lead Model 	Silicone and polyurethane	65-100cm	$9,360.00

6944RV/SVC 65cm; Model 6944RV/SVC

75cm; or Model 6944RV/SVC 100cm;

Medtronic Sprint Quattro Lead Model

6944RV/SVC 58cm

Prostheses List by Category and Sponsor	Page 10 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC005	Medtronic Duran Annuloplasty Ring; Duran 	Annuloplasty Devices - Models 610R & 620R	Model 610R 25-35mm & Model 	$1,900.00

Ancore Ring 620R; Duran Ancore Chordal 	 Silicone / Barium Sulphate, Dacron.	620R 23-35mm

Model 620RG

MC006	InSync model 8040 Stimulator	Titanium	14.4cc	$9,360.00

MC008	Medtronic Capsurefix Model 5568 Pacing Leads	Silicone Polyurethane	30 - 85cm	$1,144.00

MC009	Medtronic Epicardial Pacing Leads IS-1 Model	Silicone	35 - 53cm	$1,144.00

5071

MC010	Medtronic Capsure SP Novus Model 5092; 	Silicone Polyurethane	45 -110cm	$1,144.00

Capsure SP Novus Lead Model 5592;

Medtronic Capsure Model 4023 Lead;

Medtronic Capsure Model 4024 Lead

(med.dexamethasone) Medtronic Capsure

Model 4523(MED) Medtronic Capsure Model

4524 Lead; Medtronic Capsure Model 5023M

Lead; Medtronic Model 5024M Capsure Lead;

Medtronic Model 5024M Capsure Lead;

Medtronic Capsure Model 5524M SP Bipolar

Lead

MC011	Capsure EPI steroid eluting bipolar epicardial 	Silicone	25 - 60cm	$1,716.00

lead Model 4968 - ventricle

MC012	Medtronic Hancock Valved Conduit Model 	Porcine bioprosthesis, dacron	12, 14, 16, 18, 20, 22, 25, 30mm.	$5,750.00

100/150

MC013	Medtronic Hall Heart Valve Aortic Model 	A7700/M7700 Titanium. Pyrolite. Dacron, 	A7700 - Diameter 20-31mm, 	$5,000.00

A7700, Medtronic Hall Heart Valve Mitral 	A7700EZ/M7700EZ Titanium. Pyrolite. PET	M7700 - Diameter 23-33mm,

Model M7700, Hall Easy Fit Aortic Heart 	A7700EZ - Diameter 19-29mm,

Valve Model A7700, Hall Easy Fit Mitral 	M7700EZ - Diameter 23-31mm

Heart Valve Model M7700

MC015	Freestyle bioprosthesis	Models 995xx, 995MSxx	19 - 35mm	$5,110.00

MC018	Medtronic Sprint Lead Model 6942RV/SVC	Model 6942-65, Model 6942-75, Model 6942-	65 - 100cm	$7,488.00

100; Silicone

MC019	Medtronic Gem DR Model 7271	Titanium	 62cc	$36,400.00

MC020	Medtronic Gem Model 7227Cx;  Gem Model 	Titanium	49cc, 40cc	$34,320.00

7227 Implantable Cardioverter Defibrillator

MC025	Medtronic Sprint Lead Model 6932RV	Model 6932-65, Model 6932-75, Model 6932-	65 - 100cm	$7,488.00

100; Silicone

Prostheses List by Category and Sponsor	Page 11 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC026	Medtronic Transvene SVC Lead Model 6937;	Model 6937-35, Model 6937-52, Model 6937-	35 - 110cm x  660mm	$2,340.00

58, Model 6937-110; Silicone;

MC027	Model 6721 Unipolar Epicardial Patch Leads 	Model 6721S-50, Model 6721M-50, Model 	370, 660, 840mm	$2,340.00

S/M/L	6721L-50; Silicone

MC028	Medtronic Reveal ILR Model 9525, 	Titanium	8cc	$3,635.00

Implantable Cardiogram Recorder;  Reveal

Plus Implantable Loop Recorder Model 9526

MC029	Medtronic Kappa 400 pacemaker Model 	Titanium	13.9cc	$9,048.00

KDR401

MC030	Medtronic Kappa 400 Pacemaker Model 	Titanium	11.6cc, 11.7cc	$5,616.00

KSR401

MC035	Medtronic lead Extender Kit Model: 6984M, 	Silicone	14 - 50cm	$530.00

6981M, 6985M, 5866-24M, 5866-38M, 5866-

40M, 6986M, 5866-37M; Bipolar Lead

Adaptor Kit Model 2872

MC036	Medtronic Lead End Cap Kit Model: 5867-	Silicone or Polyurethane; Plug to Seal IS-1 	10 - 25mm, IS-1 Pin Plug - One 	$80.00

3M; Medtronic Adaptor Kit Line 5866-23; 	connector in a pacemaker or defibrillator, 	Size only

Connector Sleeve 5866-45;   Metronic lead 	Silicone

sleeve kit model: 5866-46; Medtronic Pinplug

kit. Model 6719, IS-1 Pin Plug

MC037	Medtronic Attain Cardiac Vein Pacing Lead 	Polyurethane; 4 FR Polyurethane, 5 FR 	58 - 75cm: 85cm/75cm/110cm or 	$2,735.00

Model 2187; Medtronic Coronary Sinus 	Electrode Tip, Kit Includes: Stylet x 3, Valve 	75-110cm; 75cm/85cm

Pacing Lead Model 2188; Medtronic Attain 	lifter, Attain Lead & Anchoring Sleeve; 4 FR

SD Model 4189; Medtronic Attain Side-Wire 	Polyurethane Body, 6.1FR Electrode Tip

Model 4191

MC052	Medtronic Capsure VDD2 Model 5038 AV 	Silicone; Contents: 1 x lead with anchoring 	11.5cm, 13.5cm, 15.5cm	$1,544.00

Pacing Lead	sleeve, stylet & guide, 1 x vein lifter, 2 x

fixation tools, extra stylets

MC053	Capsure EPI steroid eluting unipolar epicardial	Silicone	25 - 50cm	$1,544.00

lead Model 4965 ventricle

MC197	Medtronic AVE S660 Coronary Stents, S670 	Stainless Steel	S660 Coronary Stent - Diameter 	$1,144.00

Coronary Stents, S7 Coronary Stents, 	(2.5mm-2.75mm), Length (9mm-

BeStent2,	24mm); S670 & S7 Coronary Stent

- Diameter (3mm-4mm), Length

(9mm-30mm); BeStent2 - Diameter

(2.5mm-4mm), Length (9mm-

30mm);

Prostheses List by Category and Sponsor	Page 12 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC198	Medtronic Hall rotatable aortic valved collagen	Titanium, pyrolite, dacron	20 - 33mm	$6,800.00

impregnated conduit Model R7700

MC200	Medtronic A/Asia AT500 DDDRP Pacing 	Titanium, silicone	One size only, 14.9cc	$11,440.00

System Model AT501

MC201	Medtronic A/Asia Gem III VR Model 7231CX	Titanium	One size only, 39.2cc	$36,400.00

MC202	Medtronic Gem III DR Model 7275 	Titanium	One size only, 39.5cc	$38,480.00

Implantable Cardioverter Defibrillator

MC208	Medtronic Sprint Quattro Secure Lead Model 	Leads, Defibrillator, Implantable, Silicone, 	58-100cm	$9,360.00

6947 58cm; Model 6947 65cm; Model 6947 	polyurethane, platinized tantalum coils, steroid

75cm; Model 6947 100cm	 eluting tip

MC225	Attain Over the Wire Model 4193	Titanium, polyurethane	78-88cm	$3,120.00

MC226	Medtronic Insync III Triple Chamber 	Titanium	One size only	$12,480.00

Pacemaker Model 8042

MC227	Medtronic Gem III AT Model 7276 	Titanium	39.5cc	$40,560.00

Implantable Cardioverter Defibrillator

MC229	Medtronic Capsure SP Novus Model 5594 	Silicone, platinum	30-100cm	$1,144.00

Lead 30cm

MC237	Gem Model 7227B Implantable Cardioverter 	Titanium, "B" Style Connector	56cc	$33,800.00

Defibrillator

MC238	Gem Model 7227D Implantable Cardioverter 	Titanium, "D" style connector	53cc	$33,800.00

Defibrillator

MC239	Gem Model 7227EImplantable Cardioverter 	Titanium, "E" style connector	55cc	$33,800.00

Defibrillator

MC241	Medtronic Kappa Pacemaker Model KDR 933	Cardiac Pacemaker, Titanium	13.9cc	$9,048.00

MC242	Medtronic Kappa KSR 900 Model KSR 	Cardiac Pacemaker, Titanium	9.7,10.5,11.0 cc	$5,928.00

901,903, 906

MC243	Medtronic Kappa KVDD 900 Model KVDD 	Cardiac Pacemaker, Titanium	11.1cc	$6,552.00

901

MC245	Marquis DR Model 7274 Implantable 	Titanium	36cc	$43,680.00

Cardioverter Defibrillator

MC246	DF-I Y-Adaptor/Extender Model 6726 25cm &	Silicone	Lengths 25cm, 37cm	$537.00

37cm

MC251	Implantable Subcutaneous Defibrillator Lead 	Silicone and Platinum Alloy	Lengths 41-85cm inclusive	$4,680.00

Model 6996SQ 41cm, 58cm, 85cm

Prostheses List by Category and Sponsor	Page 13 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC252	Medtronic InSync Marquis Implantable 	Titanium	Volume 38cc	$40,560.00

Cardioverter Defibrillator Model 7277

MC253	Medtronic Marquis VR 7230CX Implantable 	Titanium, Sterile, Single Chamber	Volume 36cc	$40,560.00

Cardioverter Defibrillator

MC254	CapSure Sense pacemaker lead Models 4073	Titanium Nitride	30 - 85cm	$1,248.00	Also grouped in Pacemaker Lead

Group 8

MC292	Advantage Heart Valve - Aortic Model A7760	A7760 - Pyrolytic carbon, PET	Diameter 19-31 mm	$5,909.00

MC301	Model 3830 PACING LEADS	Active fixation pacemaker lead	59 - 75 cm	$2,600.00

Composition: Insulation is polyurethane,

Electrodes are Titanium Nitride coated

Platinum, the screw is steriod-coated

MC306	InSync III Marquis Model 7279	Titanium	One size only - Volume 38cc	$45,760.00

MC317	Maximo VR Model 7232Cx	Titanium	One size only 38.5cc	$42,640.00

MC318	Maximo DR Model 7278	Titanium. Dual chamber	One size only 38.9cc	$45,760.00

MC319	EnPulse VDD; Model E2VDD01	EnPulse VDD pacemaker with IS1 connector.  	One size only	$6,760.00

Titanium silicone

MC321	EnPulse SR Series: Model E2SR01, Model 	EnPulse SR - Pacemakers - with IS1 	One size only	$6,000.00

E2SR03, Model E2SR06	connector; with 3.2mm low profile connector;

with 5mm connector. Titanium and silicone.

MC322	EnPulse DR Series: Model E2DR01, Model 	EnPulse DDDR Pacemakers - with IS1 	one size only	$11,440.00

E2DR03, Model E2DR06, Model E2DR21, 	connector and normal battery size; with 3.2mm

Model E2DR31, Model E2DR33	 low profile connector and normal battery size;

with 5/6 mm connector and normal battery

size; with IS1 connector and small battery size;

with IS1 connector and large battery size; with

3.2mm low profile connector and large battery

size. Titanium and silicone.

MC324	Advantage Supra Aortic  Heart Valve	Mechanical Heart Valve Pyrolite Carbon 	Diameter (mm): 19 - 25	$5,909.00

leaflets Pyrolite carbon ring

MC325	InSync Sentry Model 7298	Defibrillator, Titanium	40cc	$50,000.00

MC329	Medtronic Driver, Micro Driver Coronary 	Cobalt Alloy	Driver Stent: diameter (2.25 - 	$1,248.00

Stent System	4.5mm), length (8-30mm); Micro-

Driver Stent: diameter (2.25 -

2.75mm), length (8 - 24mm)

Prostheses List by Category and Sponsor	Page 14 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC330	Medtronic Kappa 400 Pacemaker Model KSR 	Titanium	11.6cc, 11.7cc	$5,616.00

403

MC331	Medtronic Sprint Lead Model 6943	Model 6943-58, Model 6943-65, Model 6943-	58 - 100cm	$7,488.00

75, Model 6943-100; Silicone

MC332	Medtronic Kappa Pacemaker KDR 903 and 	Cardiac Pacemaker, Titanium	13cc, 14.2cc	$9,048.00

KDR 906

MC333	Medtronic Kappa Pacemaker Model KDR 901,	Cardiac Pacemaker, Titanium	12.1cc, 11.1cc, 13.1cc	$9,048.00

KDR921 and KDR931

MC336	Medtronic Capsure Z Novus Model 5054 	Silicone; Contents: 1 x lead with anchoring 	45-58cm	$1,248.00

Pacing Lead	sleeve, stylet & guide, 1 x vein lifter, 2 x

fixation tools, extra stylets

MC337	Medtronic Capsure Z Novus Model 5554 	Silicone; Contents: 1 x lead with anchoring 	45-58cm	$1,248.00

Pacing Lead	sleeve, stylet & guide, 1 x vein lifter, 2 x

fixation tools, extra stylets

MC338	Medtronic Capsurefix Novus Model 5076 	Silicone; Contents: 1 x lead with anchoring 	45-85cm	$1,248.00

Pacing Lead	sleeve, stylet & guide, 1 x vein lifter, 2 x

fixation tools, extra stylets

MC340	Medtronic Kappa 400 pacemaker Model 	Titanium	13.9cc	$9,048.00

KDR403

MC341	Medtronic Sprint Lead Model 6945	Model 6945-58, Model 6945-65; Silicone, 	58 - 100cm	$7,488.00

Model 6945-75, Model 6945-100; Silicone

MC349	Entrust	Model D 153ATG, Dual chamber, AT 	33cc, 63g	$45,760.00

Therapies, 30J

MC358	Intrinsic	Model 7287, Implantable Cardioverter 	36cc, 75g	$43,680.00

Defibrillator

MC359	Intrinsic	Model 7288, Implantable Cardioverter 	38cc, 76g	$45,760.00

Defibrillator

MC360	EnRhythm	Model P150 1DR, Rate Responsive dual 	21g, 13cc	$11,440.00

chamber pacemaker with Anti-Tachycardia

functions: DDDRP

MC362	EnTrust	Model D154DRG, dual chamber, VT 	35cc, 68g	$45,760.00

Therapies, 35J

MC363	EnTrust	Model D153DRG, Dual chamber, VT 	33cc, 63g	$43,680.00

Therapies, 30J	33cc, 63g

MC364	EnTrust	Model D154ATG, Dual chamber, AT 	35cc, 68g	$45,760.00

Therapies, 35J

Prostheses List by Category and Sponsor	Page 15 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC365	EnTrust	Model D153VRC, Single chamber, 30J	33cc, 63g	$40,560.00

MC366	EnTrust	Model D154VRC,  Single chamber, 35J	35cc, 68g	$42,640.00

MC371	Medtronic Capsurefix Model 6940 Pacing 	Silicone Polyurethane	30 - 85cm	$1,144.00

Lead;  Medtronic Tined IS-1 Model 4557M;

Medtronic Capsurefix Model 4067/8/4568

Pacing Leads;  Medtronic Capsurefix Model

5067 Pacing Leads; Medtronic Capsurefix

Model 5068 Pacing Leads; Capsure SP Novus

Pacing Lead Model 4092; Capsure SP Novus

Pacing Lead Model 4592

MC372	CapSure Sense pacemaker lead Models 4074 &	Titanium Nitride	CapSure Sense Lead Model 4074 - 	$1,248.00

4574	30cm to 85cm; CapSure Sense Lead

Model 4574 - 30cm to 53cm

MC680	Spyder	Proximal Anastomotic Device	6-clip assembly	$590.00

MC681	Advantage Mitral	Mechanical Heart Valve	23mm-33mm	$5,909.00

MC695	Sprint Fidelis Lead	Model 6949, dual-coil, screw-in	58-100cm	$9,360.00	$10,000.00

MC696	Sprint Fidelis Lead	Model 6948, dual-coil, tined	58-100cm	$9,360.00	$10,000.00

MC697	Sprint Fidelis Lead	Model 6931, single-coil, screw-in	58-100cm	$9,360.00	$10,000.00

MC698	Sprint Fidelis Lead	Model 6930, single-coil, tined	58-100cm	$9,360.00	$10,000.00

MC699	Attain OTW Model 4194 Lead	Model 4194	78cm, 88cm	$6,240.00

MC700	InSync Maximo	Model 7304	40cc, 35J	$47,840.00

MC701	Mosaic Cinch, Aortic, Mitral	Models 305cxx, 310cxx	19mm - 35mm	$4,350.00

MC709	Posterior Annuloplasty Band;  Colvin - 	Annuloplasty - Model 610B & 620B Silicone 	Model 610B: 25-35mm; Models 	$1,900.00

Galloway Future Band Model 638B; Duran 	/ Barium Sulphate, Dacron. Models 638B 	620B & 620BG: 23-35mm, Model

Ancore Band 620B; Duran Ancore Chordal 	semi-regid metal alloy core, silicone coating, 	638B - 26-38mm

Model 620BG	polyester knit fabric, kit includes-band,

malleable handle, template with suture

markers, sizers

MC713	Adapta Pacemaker	VDDR Pacemaker	11.1cc	$6,760.00

Models ADVDD01	23.6g

MC714	U-Clips (Valve Repair)	Double Arm, Mitral Valve Repair	2-packs	$500.00

MC720	Concerto CRT-D	Implantable Cardioverter Defibrillator with 	38cc	$50,000.00

Cardiac Resynchronisation Therapy

Prostheses List by Category and Sponsor	Page 16 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC721	Virtuoso	DR Model	37cc, 68g	$45,760.00

Implantable Cardioverter Defibrillator, Dual

Chamber

MC722	Virtuoso	VR Model	37cc, 68g	$42,640.00

Implantable Cardioverter Defibrillator, Single

Chamber

MC726	Adapta Pacemaker	DR Pacemaker	11.1-14.2cc	$11,440.00

Models ADDR01, ADDRS1, ADDRL1, 	23.6g-31.3g

ADDR06, ADDR03

MC727	Adapta Pacemaker	DDD Pacemaker	12.1cc	$5,200.00	$6,500.00

Models ADD01	27.1g

MC728	Adapta Pacemaker	SR Pacemaker	9.7 - 11.0cc	$5,928.00	$6,188.00

Models ADSR01, ADSR06, ADSR03	21.5 - 22.5g

MC730	Attain StarFix LV Lead	Over the wire left Ventrucular Lead	78, 88, 103cm	$5,000.00	$6,240.00

MC732	Endeavour Drug Eluting Coronary Stent System	Cobalt Alloy, ABT - 578	Diameter: 2.25mm-4.5mm; Length: 	$3,450.00

8.00mm-38.0mm

Neich Medical Pty Ltd

NM003	R Stent Evolution 2 Coronary Delivery 	316LVM Stainless Steel Balloon Expandable 	Lengths - 9-33mm; Diameters - 2.5-	$1,144.00

System	Stent (Tubular)	4.0mm

Pacing Importers Pty Ltd

PI001	Excimer Laser Stent	Polyester Fibre optic catheter	2.5 and 2.2mm	$6,800.00

PI002	Excimer Laser Stent	Polyester Fibre optic fibre catheter	0.457mm, 0.9mm, 1.4mm, 1.7mm 	$6,800.00

and 2.0mm

PI003	Med-X-Flexy Stent	Tubular Stent, Stainless steel 316L, Gold 	Dia 5 - 9mm  length: 20 - 100mm	$780.00

markers

Progressive Medical Pty Ltd

PG001	Alto II VR Single Chamber ICD	Debrillator, implantable, automatic	$36,400.00

PG002	Talent II DR Pacemaker Model 233	Dula Chamber Pacemaker. 99% titanium	57.5 x 37.2 x 8mm	$9,360.00

PG003	Swift 4040 1CT lead	length 58 cm - 69 cm	$7,280.00

PG004	Alto II DR Dual Chamber Implantable 	One size only	$38,480.00

Cardioverter Defibrillator

PG005	Symphony DR 2550	Active Implantable pacemaker	1 size only	$9,360.00

PG006	Symphony SR	Titanium	one size only	$5,928.00

PG007	OVATIO CRT-D 6750	Titanium, dual chamber ICD with CRT	30cc	$45,760.00

Prostheses List by Category and Sponsor	Page 17 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PG008	OVATIO VR 6250	Titanium, single chamber, sterile, VR 6250, 	29cc	$40,560.00

34J

PG009	OVATIO DR 6550	Titanium dual chamber ICD, 29 cc	29cc	$43,680.00

Reid Healthcare

RH001	Aortic On-X Prosthetic Heart Valve Models 	27-29mm, 19mm, 21mm, 23mm, 	$5,500.00

ONXA-19; ONXA-21; ONXA-23; ONXA-25; 	25mm, 25-33mm, 27-29mm, 31-

ONXA-27/29; ONXM-23; ONXM-25; 	33mm, 23mm, 25mm

ONXM-27/29; ONXM31/33; ONXMC25/33

St. Jude Medical Australia Pty Ltd

SJ009	Photon Micro DR Model V-232 	37cc	$38,480.00

Defibrillators/Cardioverters

SJ010	Photon Micro VR Model V-194 	36cc	$40,560.00

Defibrillators/Cardioverters

SJ011	Atlas DR Model V-240	Dual chamber implantable cardioverter 	37cc	$45,760.00

defibrillator with rate response

SJ012	Atlas VR Model V-199	Single chamber implantable cardioverter 	36cc	$42,588.00

defibrillator with rate response

SJ013	Transvenous Superior Vena Cava Lead Model 	TVL lead system models SV01, SV02, SV03 	SV01- 100cm; SV02 - 45cm; SV03 	$7,280.00

SV01, Transvenous Superior Vena Cava Lead 	transvenous leads	- 55cm

Model SV02, Transvenous Superior Vena

Cava Lead Model SV03

SJ016	Riata Transvenous Tachyarrhythmia Lead 	Quadripolar, dual-coil, steroid eluting, active 	One size only	$9,360.00

Model 1570, Model 1571	fixation tachyarrhythmia leads

SJ019	REGENCY SC 2406L, SCX 2408L, SC 	Single Chamber, Standard VVIC, IS-1/5-6mm	8.6cc, 18.5-19gm	$4,264.00

2407M/S

SJ020	REGENCY SC+ 2402L	Single Chamber,  VVI,  Autocapture, IS-1	8.6cc, 18.5gm	$4,264.00

SJ022	REGENCY SR+ 2400L	Single Chamber, Rate Response, Autocapture, 	8.6cc, 18.5gm	$5,928.00

IS-1

SJ023	TENDRIL SDX 1488T, 1388T	Single, Active Fixation, Steroid Eluting, Low 	46cm-58cm	$1,248.00

Polarisation Lead, IS-1

SJ024	PASSIVE PLUS DX 1342T, 1343K, 1345K, 	Single, passive fixation, steroid eluting, low 	46-58cm	$1,248.00

1346T	polarisation lead; Models: Bipolar Atrial Lead,

IS-1 Unipolar Atrial Lead, IS-1 Unipolar

Ventricular Lead, IS-1 or Bipolar Ventricular

Lead, IS-1

Prostheses List by Category and Sponsor	Page 18 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ025	St Jude Medical Integrity SR5142 Pacemaker, 	Single chamber, rate responsive pacemaker	Volume 10.4cc, weight 23gm	$5,928.00

Cardiac Implantable

SJ026	St Jude Medical Integrity AFX DR5346 	Dual chamber, rate responsive pacemaker	Volume 11cc, weight 23.5gm	$9,360.00

Pacemaker, Cardiac, Implantable

SJ027	St Jude Medical Microny II SR+ Model 	Single Chamber Rate Responsive Pacemaker	Volume 5.9cc, Weight 12.8gm	$5,928.00

2525T Pacemaker

SJ028	Integrity Micro DR 5336 Pacemaker	Dual Chamber Rate Responsive Pacemaker	Volume 8cc, Weight 18gm	$9,360.00

SJ029	Integrity Micro SR 5136 Pacemaker	Single Chamber Rate Responsive Pacemaker	Volume 8cc, weight 18gm	$5,928.00

SJ030	Identity SR 5172	Single Chamber Rate Responsive Pacemaker	Volume 8cc, Weight 17gm	$5,928.00

SJ031	Identity XL DR 5376	Dual Chamber Rate Responsive Pacemaker	Volume 11cc, Weight 23.5gm	$9,360.00

SJ032	Identity DR 5370	Dual Chamber Rate Responsive Pacemaker	Volume 8cc, Weight 18gm	$9,360.00

SJ033	Aescula LV Model 1055K	Left Ventricular Pacing Lead	75cm	$2,735.00

SJ035	SJM Tailor Annuloplasty Ring	Fully Flexible	25mm - 35mm	$2,150.00

SJ036	St Jude Medical Coated Aortic Valved Graft	Coated Aortic Valved Graft 	21mm - 33mm	$6,800.00

SJ037	St Jude Medical Aortic Expanded Cuff Heart 	Aortic Expanded Cuff, Aortic Hemodynamic 	Aortic Expanded 19 -31mm, Aortic 	$5,909.00

Valve; St Jude Medical Aortic Hemodynamic 	Plus Cuff, Mitral Hemodynamic Cuff, Aortic &	Hemodynamic 17 - 27mm, Mitral

Plus Cuff Heart Valve; St Jude Medical Mitral 	 Mitral Rotatable Cuff	Hemodynamic 17 -27mm, Rotatable

Hemodynamic Plus Cuff Heart Valve; St Jude 	 17 - 33mm

Medical Mechanical Heart Valve Masters

Series

SJ038	St Jude Medical Toronto SPV Valve Model 	Tissue Heart Valves, Bioimplant	TSPV: 21 - 29mm, Bioimplant 	$4,800.00

SPA-101, St Jude Medical Bioimplant Heart 	Aortic: 21-27mm, Bioimplant

Valve	Mitral: 27-32mm

SJ039	St Jude Medical Regent Prosthetic Heart Valves	Standard Cuff - Model 17AGN-751 - 29AGN-	Standard cuff - 17-29mm, Flex cuff - 	$5,909.00

751, Flex Cuff - Model 17AGFN-756 - 	17-29mm

29AGFN-756

SJ040	Frontier 3x2 Model 5510	Biventricular Stimulation Device with AF 	Height 48mm, Length 52mm, 	$9,360.00

suppression	Depth 6mm

SJ048	Epic Plus VR Model V-196 Implantable 	Single Chamber sensing and bradycardia 	32cc	$40,560.00

Cardioverter Defibrillator	pacing

SJ049	Epic Plus DR Model V-236 Implantable 	Dual Chamber sensing, bradycardia pacing 	33cc	$43,680.00

Cardioverter Defibrillator	with atrial fibrillation suppression

SJ050	Verity ADx Model XL DC 5256 Dual - 	Dual Chamber multi-programmable rate-	11cc, 23.5g	$5,200.00

Chamber pacemaker	adaptive pacing devices with extended longevity

Prostheses List by Category and Sponsor	Page 19 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ051	Verity Adx Implantable Pacemaker, Models 	Dual - Chamber, multi-programmable, rate-	45x52x6mm,11cc, 23g, 5mm or 	$9,360.00

XL DR 5356 and XL DR 5357M/S	responsive pacemaker withAF suppression	6mm M/S

SJ053	Verity Adx Model XL SC 5056 implantable 	Single Chamber multi-programmable rate-	10.5cc, 23g	$4,264.00

pacemaker	adaptive pacing device with extended longevity

SJ054	Identity ADx Model VDR 5480 implantable 	Single Chamber multi-programmable rate-	8cc, 18g	$6,760.00

pacemaker	adaptive pacing device with extended longevity

SJ055	Integrity ADx Model SR 5160 implantable 	Single Chamber multi-programmable rate-	8cc, 17g	$5,928.00

pacemaker	adaptive pacing device

SJ056	Integrity ADx Model DR 5360 and XL DR 	Dual-Chamber, multi-programmable, rate-	Model DR 5360 - 8cc, 18g, Model 	$9,360.00

5366	responsive pacemaker with AF suppression	XL DR 5366 - 11cc, 23.5g

SJ057	Verity ADx Model XL VDR 5456 implantable	Single Chamber multi-programmable rate-	11cc, 23.5g	$6,760.00

pacemaker	adaptive pacing device with extended longevity

SJ058	St Jude Medical Australia Ventritex Contour 	Contour MD Models V - 175 AC, V-175C 	57-65cc, 109 - 118g	$33,462.00

MD Models V-175AC, V-175D and V- 175C 	and V-175D Single chamber

Defibrillators/Cardioverters	Defibrillators/Cardioverters

SJ059	Identity ADx Models DR 5380 and XL DR 	Dual-Chamber, multi-programmable, rate-	ADx DR 5380: 43x44x6mm, 18g 	$9,360.00

5386	adaptive pacing devices with AF suppression	and 8cc

ADx XL DR 5386: 44x52x6mm,

23.5g and 11cc

SJ060	Identity ADx Model SR 5180 implantable 	Single Chamber multi-programmable rate-	8cc, 18g	$5,928.00

pacemaker	adaptive pacing device

SJ061	Identity Adx Model XL DC 5286 Dual 	Identity ADx Model XL DC Model 5286 is an	11cc, 23.5g	$5,200.00

Chamber Pacemaker	 implantable, multi-programmable rate-

adaptive pacing device with AF suppression

SJ062	Epic HF Model V-339 Implantable Cardiac 	Cardioverter/defibrillator with dual chamber 	One size only	$45,760.00

Defibrillator	(atrial and RV) sensing and bradycardia pacing

with ventricular resynchronisation

SJ063	Atlas DR Model V-242 ICD	Implantable Dual Chamber Cardio-verter 	38cc/78g	$45,760.00

Defibrillator

SJ064	Atlas + HF Model V - 341 ICD - Defibrillator,	Atlas + HF ICD is a cardioverter defibrillator 	40cc/81g	$47,840.00

Implantable, automatic, dual-chamber	with dual chamber (atrial and RV) sensing and

bradycardia Pacing with ventricular

resynchronisation therapy.

Prostheses List by Category and Sponsor	Page 20 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ065	Atlas + VR Model V-193 ICD	Single chamber implantable cardio-verter 	38cc, 77g	$42,640.00

defibrillator

SJ066	Atlas + VR - C Model V-193C ICD	Single chamber implantable cardio-verter 	38cc, 77g	$42,640.00

defibrillator

SJ067	Epic + HF Model V-350 ICD	Epic + HF V-350 ICD is a cardioverter 	36cc / 73g	$45,760.00

defibrillator with dual chamber (atrial and RV)

sensing and bradycardia pacing with ventricular

resynchronisation therapy.

SJ068	Atlas + DR Model V-243 ICD	Implantable Dual Chamber Cardio-verter 	38cc, 78g	$45,760.00

Defibrillator

SJ069	St Jude Medical Biocor Porcine Prosthetic 	St Jude Medical Biocor Porcine Prosthetic 	Aortic Valves - Tissue Annulus 	$4,350.00

Heart Valve	Heart Valve is manufactured from selected 	Diameter - 21-29mm,  Implant

procine aortic valve cusps that have been cross-	Height - 11-15c;  Mitral Valves -

linked with a glutaraldehyde solution	Tissue Annulus Diameter - 25-

35mm, Implant Height - 8-10mm

SJ070	Epic + DR Model V-233 ICD	Dual Chamber Implantable Cardio-verter 	33cc 70g	$43,680.00

Defibrillator

SJ071	Epic + DR Model V-239 ICD	Dual chamber implantable cardio-verter 	33cc 70g	$43,680.00

defibrillator

SJ072	Frontier II - Model 5596	Biventricular Cardiac Resynchronisation 	49mm(h) x 52(1) x 6(t), 25g	$12,480.00

Device with AF suppression algorithm -

Titanum

SJ073	Tendril SDX Models 1688T and 1688TC	Endocardial Steroid-Eluting Active Fixation 	100cm, 25cm, 34cm, 40cm, 46cm, 	$1,248.00

Pacing Lead	52cm, 58cm, 85cm, 7F

SJ074	Riata Transvenous tachyarrhythmia Leads 	Tri-polar Active - Fixation, Steroid-Eluting, 	60cm, 65cm, 8F introducer	$9,360.00

Model 1582	Single shock Coil Tachyarrhythmia; Lead

SJ075	Riata Transvenous Tachyarrhythmia Lead 	Quadripolar, dual-coil, steroid eluting, active 	One size only	$9,360.00

Model 1580, Model 1581	fixation tachyarrhythmia leads

SJ076	Verity Adx Model  XL SR 5157 M/S 	Single Chamber  multi-programmable rate-	11cc, 23g	$5,928.00

implantable pacemaker	adaptive pacing devices with extended longevity

SJ077	Verity Adx Models XL SR 5156 implantable 	Single Chamber  multi-programmable rate-	11cc, 23g	$5,928.00

pacemaker	adaptive pacing devices with extended longevity

SJ078	IsoFlex S, Models 1645K, 1643K, 1635K	Endocardial, Steroid Eluting, Silicone, Passive	34cm, 40cm, 46cm, 52cm, 58cm, 	$1,248.00

Fixation Leads with Fast-Pass Coating	85cm, 7F

Prostheses List by Category and Sponsor	Page 21 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ079	QuickSite Model 1056K	Unipolar, Steroid Eluting, Titanium Nitride 	75cm, 6F and 86cm, 6F	$3,120.00

Electrode, Guidewire/Stylet-placed Left Heart

Lead with Fast-Pass Coating

SJ081	Riata i Transvenous Tachyarrhythmia Leads 	Active fixation leads, Steroid Eluting, Dual 	60cm, 65cm, 75cm, 8F introducer	$9,360.00

Model 1590/1591	Shock Coil Defibrillation Lead

SJ082	Isoflex S, Models 1646T, 1642T and 1636T	endocardial, Steroid Eluting, Silicone, Passive	34cm, 40cm, 46cm, 52cm, 58cm, 	$1,248.00

Fixation Pacing Leads with Fast-Pass Coating	85cm, 7F, 120cm 8F

SJ083	Riata Transvenous Tachyarrhythmia Lead 	Tri-polar Passive-Fixation, Steroid Eluting, 	60cm, 65cm, 8F introducer	$9,360.00

Model 1572	Single Shock Coil Tachyarrhythmia Lead

SJ084	Riata i Transvenous Tachyarrhythmia Lead 	Active Fixation, Steroid Eluting, Single 	60cm, 65cm, 75cm, 8F introducer	$9,360.00

Model 1592	Shock Coil Defibrillation Lead

SJ085	Riata iTransvenous Tachyarrhythmia Leads 	Passive Fixation, Steroid-Eluting, Dual Shock	60cm, 65cm, 70cm, 8F introducer	$9,360.00

Models 1560 and 1561	 Coil Defibrillation Lead

SJ086	Riata i Transvenous Tachyarrhythmia Lead 	Passive Fixation, Steroid Eluting, Single 	60cm, 65cm, 70cm, 8F introducer	$9,360.00

Model 1562	Shock Coil Defibrillation Lead

SJ087	St Jude Medical Rigid Saddle Ring	Rigid Annuloplasty Ring	24 - 34mm	$2,400.00

SJ088	SJM Tailor Annuloplasty Band	Flexible double-velour, polyester fabric	25 - 35mm	$2,150.00

SJ089	Victory XL DR 5816 and DR 5810	Dual Chamber Rate Responsive Pacemakers	44x52x6mm; 23.5g; 11cc	$9,360.00

SJ090	Victory SR 5610	single chamber rate responsive pacemaker	41x44x46mm 17g 8cc	$5,928.00

SJ091	Premere PFO Closure System	Percutaneous, transcatheter, self-expanding, 	Left Atrial Anchor diameter 20mm 	$9,820.00

dual anchor, occlusion device	and 25mm

SJ092	Epic II + DR V-258	Epic II + DR V-258 Implantable Cardioverter 	35cc, 72g	$43,680.00

Defibrillator

SJ093	Epic II VR V-158 Implantable Cardiac 	Single Chamber Cardioverter Defibrillator	34cc, 70g	$40,560.00

Defibrillator

SJ096	Riata ST 7000/7001/7002	Active-Fixation True-Bipolar, Dual-Coil, 	60, 65cm 7F introducer	$9,360.00

(7002 - Single-Coil) Steroid-Eluting Steroid

Eluting, Endocardial Defibrillation Leads

SJ097	Isoflex P 1644T and 1648T	Endocardial, Steroid Eluting, Polyurethane, 	1648T - 34-85cm 1644T - 34-42cm	$1,248.00

Passive-Fixation Bipolar Pacing Leads with

Fast-Pass Coating

SJ098	Epic II+ HF V-357	Epic II + HF V-357 Cardiac Resynchronisation	36cc, 74g	$45,760.00

Therapy Defibrillator with V-V Timing

programmability

Prostheses List by Category and Sponsor	Page 22 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SJ099	QuickSite 1056T	Bipolar Steroid-Eluting, Titanium Nitride 	75cm, 6F and 86cm, 6F	$6,240.00

Coated Electrodes Guidewire/Stylet-Placed

Keft Heart Lead with Fast-Pass Coating

SJ100	Epic II HF V-355	Epic II HF V-355 Cardiac resynchronisation 	36cc,73g	$45,760.00

Therapy Defibrillator with V-V Timing

programmability

SJ101	Epic II DR V-255	Epic II DR V-255 Implantable Cardioverter 	34cc, 72g	$43,680.00

Defibrillator

Tag Medical

TM001	AnnuloFlo Annuloplasty System	Annuloflex Ring or AnnuloFlo Ring	26-36mm	$1,600.00

TM002	CarboSeal Ascending Aortic Prosthesis, 	Mechanical Conduit	AP 21-33mm, CP 21 - 33mm	$6,800.00

sterile, CarboSeal Ascending Aortic Prosthesis

with Handle Model AP21, Model AP23,

Model AP25, Model AP27, Model AP29,

Model AP31, Model AP33, Carboseal

Valsalva

TM003	Optiform	Mechanical Valve	19mm to 33mm	$4,950.00

TM039	Mitroflow	Pericardial Bioprosthesis	19-27mm	$4,445.00	$4,950.00

Terumo Corporation Australia

TU001	Tsunami Gold Coronary Stent	Stainless Steel mounted on balloon catheter	Diameter 2.0mm - 4.0mm, Length 	$1,248.00

10mm - 30mm length

TU036	Gelweave Valsalva Graft	Woven vascular prosthesis, polyester, gelatin 	Diameter 24 - 34 mm, Overall 	$3,250.00	$3,528.50

sealed	length 18.4 - 19.6cm

TU037	Gelweave Plexus Graft	Multi Branched, for Aortic Arch 	22 - 34 mm x 40 cm	$2,100.00

reconstruction, Polyester, Woven, gelatin sealed

TU038	Gelweave Graft	Straight Thoracic Graft, with antiflo side 	22-34 mm x 20-40 cm	$1,677.00	$1,744.00

branch, Polyester, woven, gelatin sealed

W L Gore & Associates

GT117	Gore-Tex - Cardiovascular Patch	ePTFE	0.4mm Thickness 2 x 9cm	$233.00

GT118	Gore-Tex - Cardiovascular Patch	ePTFE	0.4mm - 3 x 6cm	$275.00

0.6mm - 2.5cm x 15cm & 5cm x

7.5cm

GT120	Gore-Tex  Cardiovascular Patch	ePTFE	0.6mm Thickness 5 x 15cm	$510.00

GT121	Gore-Tex Cardiovascular Patch	ePTFE	0.6mm Thickness 10 x 15cm	$925.00

Prostheses List by Category and Sponsor	Page 23 of 549

CARDIO-THORACIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT122	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 6 x 12cm	$353.00

GT123	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 8 x 16cm	$630.00

GT124	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 12 x 12cm	$732.00

GT125	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 15 x 20cm	$1,425.00

GT126	Acuseal Cardiovascular Patch Vascular	ePTFE	0.5mm Thickness 1 x 9cm; 0.8 x 	$217.00

7.5cm

GT127	Acuseal Cardiovascular Patch Cardiac	ePTFE	0.5mm Thickness 3 x 6cm & 5 x 	$264.00

7.5cm

GT128	Helex Septal Occluder	ePTFE	15-35mm	$10,200.00

Zynergy Medical Pty Limited

ZY001	Carbostent	Coronary stent - includes Carbostent Syncro &	Dia 2.5mm x Length 9, 12, 15, 19, 	$780.00

Carbostent Sirius	25mm; Dia 3.0mm x Length 9, 12,

15, 19, 25, 32mm; Dia 3.5mm x

Length 9, 12, 15, 19, 25, 32mm;

Diameter 4.0mm x Length 9, 12,

15, 19, 25, 32mm

BR & CT Enterprises Pty Ltd

BC001	Titanium Head	To suit blue or grey implants	$179.00

BC004	Titanium PORP with Fixed Bell and 	Maximum lengths of 5.0mm (grey) 	$360.00

Removable Head	and 5.5mm (blue) - adjustable in

1mm increments; 0.3mm diameter

BC007	Titanium Middle Ear Total Implant with 	Maximum lengths of 7.0mm (grey) 	$360.00

Removable Shoe or Head	and 7.5mm (blue) - adjustable in

1mm increments; 0.3mm and

0.4mm in diameter

BC008	Titanium Middle Ear Total Implant with 	Maximum lengths of 7.0mm (grey) 	$360.00

Adjustable Head	and 7.5mm (blue) - adjustable in

1mm increments; 0.4mm diameter

BC009	Titanium Shoe	to suit Titanium Middle Ear Implants	To suit blue or grey implants	$126.00

BC010	Ventilation tube	Ventilation tube - Silicone - T-tube, T-tube 	1.1mm; 1.27mm lumen	$19.00

grommet

BC011	Ventilation Tubes - Collar Button	Teflon, w/o wire	1.10mm, 1.25mm, 1.50mm lumen	$12.00

BC012	Ventilation Tubes - Collar Button	Teflon w/wire, and titanium w/o wire	0.76mm, 1.00mm, 1.25mm, 	$15.00

1.50mm lumen

Prostheses List by Category and Sponsor	Page 24 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BC013	Ventilation Tubes - Collar Button	Titanium w wire	1.00mm, 1.25mm, 1.50mm lumen	$19.00

BC014	Ventilation Tubes - Shepherd	Teflon, w or w/o wire	1.15mm lumen	$12.00

BC015	Ventilation Tubes - Shepherd	Titanium, w/o wire	1.00mm, 1.25mm lumen	$17.00

BC016	Ventilation Tubes - Shepherd	Titanium with wire	1.00mm, 1.25mm lumen	$19.00

BC017	Ventilation Tubes - Silicone	Armstrong Grommet, Donaldson w & w/o 	1.1mm & 1.5mm lumen	$15.00

Tab, Paparella 1 and Paparella 2 (1.5mm)

Cochlear Limited

CO006	Nucleus 24 Cochlear Implant System 	Set of assistive listening & maintenance 	Lapel Microphone: 40-150cm, 	$785.00

Accessories for SPrint Adult	devices, consisting of: Lapel Microphone; 	Personal Audiocable - one size only,

Personal Audiocable; Battery Charger; Pouch 	 Battery Charger - one size only,

(adult style), Ear Hook; Battery case; Mic 	Pouch (adult style),  Ear Hook

Lock; Lapel clip; TV/Hi-Fi Cable; Mic sleeve;	(small and large) Battery case -

Dry pack; Accessory case; AC adaptor; 	single, Mic Lock - one size only,

Telecoil; and Mic clip	Lapel clip - one size only, TV/Hi-Fi

Cable - one size only     Mic sleeve

- one size only, Dry pack - one size

only    Accessory case - one size

only, AC adaptor - one size only,

Telecoil - one size only, Mic clip -

one size only

CO007	Nucleus 24 Cochlear Implant System 	Set of assistive listening & maintenance 	Lapel Microphone: 40-150cm, 	$785.00

Accessories for SPrint Child	devices, consisting of: Lapel Microphone: 40-	Personal Audiocable - one size

150cm, Personal Audiocable; Battery Charger; 	only,Battery Charger - one size

Pouch (adult style), Ear Hook; Battery case; 	only, Pouch (adult style), Ear Hook

Mic Lock; Lapel clip; TV/Hi-Fi Cable; Mic 	(small and large), Battery case -

sleeve; Dry pack; Accessory case; AC adaptor; 	single, Mic Lock - one size only,

Telecoil; Mic clip; and FM Cable	Lapel clip - one size only, TV/Hi-Fi

Cable - one size only, Mic sleeve -

one size only, Dry pack - one size

only, Accessory case - one size only,

AC adaptor - one size only,

Telecoil - one size only, Mic clip -

one size only,  FM Cable - to suit

Sonic Air Easy Listener

CO013	Nucleus 24k Cochlear Implant	Model CI24R (ST)	One size only	$10,600.00

CO014	Nucleus 24 Contour Advance Cochlear Implant	Model CI24R (CA)	One size only	$11,600.00

Prostheses List by Category and Sponsor	Page 25 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CO017	SPrint Speech Processor (REPLACEMENT)	Consists of: SPrint Speech Processor - body 	Processor: One Size Only, Transmit	$4,282.25

worn speech processor to suit Nucleus 24 	 Cable, 8-28cm, Headset Cable 45-

cochlear implant system; transmit cable; 	100cm, Headset: 0.5-4.0 magnet

headset cable; headset; battery case - double; 	strength, Hook small and large

batteries - AA; microphone cover; belt clip;

and hook

CO019	ESPrit 3G Speech Processor - Replacement	Includes speech processor with titanium ear 	Cable lengths: 6, 8, 10, 20, 28cm	$6,790.00

hook, 6 high powered zinc air batteries,

cleaning brush, microphone puffer, earmould

compatible earhook, soft earhook cover,

magnet, drying capsules, accessory adaptor and

socket covers, signal check, coil/cable (x2),

document pack

CO020	Nucleus Cochlear Implant Accessory Kit - 	Accessory set consists of accessory adapter 	Lapel microphone comes in lengths 	$500.00

ESPrit 3G Speech Processor	cable, lapel microphone & lapel clip, battery 	of 40-150cm

cover set and accessory case

CO021	Nucleus Freedom Implant with Contour 	Cochlear implant.  Titanium casing, 	one size only	$13,570.00

Advance Electrode	removable magnet, 22 half-banded platinum

electrodes, moulded in a durable silicone seal.

CO022	Nucleus Freedom Speech Processor	Speech processor, and accessories - INITIAL	One size only	$11,500.00

CO023	Nucleus Freedom Speech Processor	Speech processor, and accessories - 	one size only	$8,050.00

REPLACEMENT

CO024	Nucleus Freedom Implant with Straight 	Cochlear implant with straight electrode in a 	One size only	$12,570.00

Electrode	titanium casing, with a removable magnet,

banded platinum electrodes moulded in a

silicone seal.

CO025	BAHA - Bone Anchored Hearing Aids	Abutment Snap Coupling	5.5mm	$895.00

CO027	BAHA - Bone Anchored Hearing Aids	Flange fixture	4mm and 3mm	$895.00

CO028	BAHA - Bone Anchored Hearing Aids	Cover screw unigrip	One size only	$364.00

CO030	BAHA - Bone Anchored Hearing Aids	Flange Fixture - Titanium	Self Tapping 4mm and 3mm	$1,035.00

CO032	BAHA - Bone Anchored Hearing Aids	Flange Fixture - Titanium	Self Tapping 4mm and 3mm with 	$2,500.00

BAHA Abutment

Prostheses List by Category and Sponsor	Page 26 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CO033	BAHA - Bone Anchored Hearing Aid - 	The BAHA Hearing Aids (Compact  & 	$6,000.00	To be claimed only for patients with

Various Models	Cordelle II in various colours) are the external 	deafness who have problems using air

hearing processors which are attached to the 	 conduction or conventional hearing

implanted titanium fixture by a snap coupling. 	aids which is made worse when a

This allows the sound transmission using 	hearing aid mould is worn.

bone conduction for patients where

conventional hearing devices are not indicted.

CO040	Baha Divino	Digital sound processor for Baha hearing 	One Size But Left/Right Ear 	$6,000.00

system	Orientations

Device Technologies Australia Pty Ltd

DE191	Canaliculus Intubation Sets 	Silicone, SS & Nylon	17.7 x .064 x 29cm, 15.5 x .051 x 	$165.00

33cm

Endocorp Pty Ltd

EC018	Exmoor Plastics Ear Vent Drains -  Reuter 	Without hole, teflon	1.14 mm lumen dia x 2.54 mm 	$13.00

Bobbin 	inner flange dia x 2.54 mm outer

flange dia x 0.76 inter flange.

1.52mm total length

EC019	Exmoor Plastics Ear Vent Drains -  Collar 	Teflon 	1.14 mm lumen dia x 2.24 mm 	$12.00

Button	inner flange dia x 2.24 mm outer

flange dia x 1.27 inter flange. 1.78

mm total length

EC020	Exmoor Plastics Ear Vent Drains  -  Collar 	Teflon 	1.14 mm lumen dia x 3.0 mm inner	$14.00

Button	 flange dia x 3.0 mm outer flange dia

x 1.27 inter flange. 1.78 mm total

length

EC021	Exmoor Plastics Ear Vent Drains  -  Collar 	Teflon 	1.4 mm lumen dia x 2.55 mm inner	$14.00

Button	 flange dia x 2.55 mm outer flange

dia x 0.85 inter flange. 1.35 mm

total length

EC022	Exmoor Plastics Ear Vent Drains - Collar 	Teflon 	1.75 mm lumen dia x 2.85 mm 	$15.00

Button 	inner flange dia x 2.85 mm outer

flange dia x 0.95 inter flange. 1.46

mm total length

EC024	Exmoor Plastics Ear Vent Drains - Shepards 	Teflon Shephards Drain	1.14 mm lumen dia x 2.36 mm 	$14.00

Drain	inner flange dia x 2.36 mm outer

flange dia x 1.42 inter flange. 2.41

mm total length

Prostheses List by Category and Sponsor	Page 27 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EC026	Exmoor Plastics Ear Vent Drains - Teflon 	Teflon Shephards Drain with wire	0.97 mm lumen dia x 2.08 mm 	$14.00

Shephards Drain with wire grasping feature	inner flange dia x 2.08 mm outer

flange dia x 1.42 inter flange. 2.41

mm total length

EC031	Exmoor Plastics Ear Vent Drains - Donaldson 	With tab, silicone rubber	1.1 mm lumen dia x 2.25 mm inner	$20.00

Grommet	 flange dia x 2.25 mm outer flange

dia x 0.76 inter flange. 2.25 mm

total length

Endotherapeutics Pty Ltd

ET031	Serenocem Cement	Reaction bonded polymer composite formed by	One size only - box of 2	$1,560.00

the neutralisation gelletation of a basic

inorganic ionomer

ET032	Serenocem Granules	Reaction bonded polymer composite formed by	0.5 - 1mm granules, 1gm or 5gm; 2	$1,070.00

the neutralisation gelletation of a basic 	 - 3mm granules, 1gm or 5gm - 3

inorganic ionomer	pouches

ET040	Vox Implants	Vox Implants are solid, irregularly textured, 	One size only	$8,200.00

medical grade Polydimethylsiloxane Elastomer

implants suspended in a hydrogel carrier

Enta Surgical Pty Ltd

ES001	Trocar Myringotomy Tube	Myringotomy Tube with Trocar - Gold Coated	One Size Only	$20.00	$38.00

Silver; Myringotomy Tube with Trocar -

Titanium; Myringotomy Tube with Trocar,

with wire - Gold Coated Silver; Myringotomy

Tube with Trocar, with wire - Titanium

Gary L Hinz and Associates Pty Ltd

GH001	NeoZoline Otological Ventilation Tubes	Armstrong, Collar Button, Shepard, Reuter, 	1.10mm, 1.14mm, 1.27mm, 	$13.00

Donaldson, Paparella, Shah	1.40mm, 0.76mm

Gyrus Australasia Pty Ltd

GY001	Canal Wall Prosthesis	Grote, HA	Small - Large	$543.00

GY002	Ossicular Prosthesis Malleus, Incus and Stapes	Goldenberg Footplate - HA	One size only	$126.00	$915.00

GY003	Ossicular Prosthesis	Attic Defect Plate, HA	7-14mm	$335.00

GY004	Ossicular Prosthesis Incus 	a) Applebaum HA,  b) Goldenberg HA,  c) 	a) small - large, b) one size only, c) 	$580.00

Kartusch HA , d) Grote HA, e) Wehrs (single 	short, medium, long, d) 7-10mm, e)

& double notched) HA	 short, average, medium, long

Prostheses List by Category and Sponsor	Page 28 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GY005	Ossicular Prosthesis - PORP	Sheehy plastipore, Drum to stapes, Grote 	One size only	$190.00	$360.00

Malleus to stapes, modified, centered or

offcentered

GY006	Ossicular Prosthesis - PORP/TORP	Goldenberg Malleable/HA	One Size Only	$360.00	$580.00

GY007	Ossicular Prosthesis Incus 	a) Grote HA, b) Wehrs (single & double 	a) one size only, b) Short, medium, 	$625.00

notched) HA	long

GY008	Piston: Stapes Prosthesis	a) Schuknecht Malleus att Piston. Stainless 	a) 0.6x5.5mm-0.8x6.5, b) 	$90.00

steel, b) Cawthorne. Fluoroplastic, c) 	0.3x0.8x3.5-0.3x0.8x6mm, c)

Fluoroplastic, d) Schuknecht. Stainless steel, 	0.6x0.6x3.5-0.8x0.6x6mm,

e) Causse.  Fluoroplastic	d) 0.4x3.5-0.5x5mm, e) one size only

GY009	Ossicular Prosthesis -TORP 	a) black spanner strut HA, b) black oval top 	a) one size only, b) 7-10mm, c) 0.5-	$360.00	$675.00

TORP HA, c) black oval top PORP, 	0.7mm

universal, HA/fluoroplastic

GY010	Ossicular Prosthesis -TORP 	Fisch plastipore, Causse modified plastipore, 	One size only	$360.00

Shea modified plastipore/ fluoroplastic, Austin

modified plastipore, Tilt top plastipore

GY011	Ossicular Prosthesis -TORP 	a) Shea malleable, HA/plastipore, b) Shea 	a) one size only, b) 4-8mm	$360.00

plastipore

GY012	Piston: Stapes Prosthesis	a) Armstrong. Platinum, b) McGee. Stainless 	a) 0.6x3.5-0.8x5mm, b) 0.6x3.25-	$104.00

steel, c) Richards.  Teflon & platinum	0.8x5.5mm,

c) 0.4x4-0.4x5mm

GY013	Piston: Stapes Prosthesis	Fisch-Type Platinum or Stainless Steel	0.4mm  x 6mm	$104.00

GY014	Piston: Stapes Prosthesis	Bucket Handle Fluoroplastic and stainless steel	0.4 x 1 x 3.5mm - 0.6 x 1 x 5mm	$104.00

GY015	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3.5mm - 0.8x5mm	$104.00

GY016	Piston: Stapes Prosthesis	Platinum Fluoroplastic	0.6x3mm - 0.8x5.75mm	$104.00

GY017	Piston: Stapes Prosthesis	McGee Shepherd's Crook - Stainless Steel	0.6x3.5mm - 0.6x5.5mm	$104.00

GY018	Septal Button	Plastipore	One size only	$149.00

GY019	Ventilation Tube	Shepard grommet, fluoroplastic or silicon, vent	1.02 -1.14mm	$20.00

tube w/wire.

GY020	Ventilation Tube	Shepard, fluoroplastic, w/Tab & wire	1.02 -1.14mm	$20.00

GY021	Ventilation Tube	Shepard, Ultrasil Silicon & Blue Poly	1.02 - 1.14mm	$20.00

GY027	Ventilation Tube	T-Tube Richards Silicon, Soft Silicon, 	1.14mm	$20.00

Prostheses List by Category and Sponsor	Page 29 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GY028	Ventilation Tube	T-Tube Richards Modified Silicon & Ultrasil	1.32mm	$20.00

GY029	Ventilation Tube	T-Tube Richards Modified Soft Silicon 	1.32mm	$20.00

GY030	Ventilation Tube	Butterfly T-Tube Silicon & Ultrasil	Silicon - one size only. Ultrasil - 	$20.00

one size only.

GY032	Ventilation Tube	Armstrong Beveled Grommet Ultrasil Silicon 	1.14mm	$20.00

w/Tab

GY033	Ventilation Tube	Grommet - Sha Mini. Teflon	0.76mm	$20.00

GY034	Ventilation Tube	Shah. Teflon, Silicon	5.1mm	$20.00

GY035	Ventilation Tube	Shah. Teflon, Fluorplastic w/Wire	1.14mm	$20.00

GY036	Ventilation Tube	Shah. Teflon, Fluorplastic without Wire	1.14mm	$20.00

GY037	Ventilation Tube	Armstrong Beveled Plain End Fluoroplastic	One size only	$20.00

GY038	Ventilation Tube	Armstrong Beveled Plain End Silcon	One size only	$20.00

GY039	Ventilation Tube	Bobbin - Reuter Stainless Steel	1mm  	$20.00

GY040	Ventilation Tube	Bobbin - Reuter Stainless Steel	Without Wire 1.14-1.27mm, w/wire	$20.00

1mm

GY041	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F 	1mm	$20.00

Without Holes

GY042	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F 	1.14mm	$20.00

Without Holes

GY043	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F w/wire	1.14mm	$20.00

GY044	Ventilation Tube	Bobbin - Reuter Fluoroplastic 1mm I.F	1.14mm	$20.00

GY045	Ventilation Tube	Bobbin - Reuter Fluoroplastic 0.5mm I.F	1.27mm	$20.00

GY048	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27mm	$20.00

GY049	Ventilation Tube	Collar Bobbin Fluoroplastic 	0.75mm	$20.00

GY050	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.14mm	$20.00

GY051	Ventilation Tube	Collar Bobbin Fluoroplastic 	1.27x0.5mm	$20.00

GY052	Ventilation Tube	Collar Button Ultrasil Silicon	1.27mm	$20.00

GY053	Ventilation Tube	Collar Button Fluoroplastic Blue	1.27mm	$20.00

GY054	Ventilation Tube	Collar Button Fluoroplastic w/Wire	1.27mm	$20.00

GY055	Ventilation Tube	Collar Button Silicon	1.27mm	$20.00

GY056	Ventilation Tube	Collar Button Titanium	1.14mm	$20.00

Prostheses List by Category and Sponsor	Page 30 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GY057	Ventilation Tube	Collar Button Titanium	1.27mm	$20.00

GY058	Ventilation Tube	Donaldson Silicon	1.14mm	$20.00

GY059	Ventilation Tube	Donaldson Soft Silicon	1.14mm	$20.00

GY060	Ventilation Tube	Donaldson Silicon w/Tab	1.14mm	$20.00

GY061	Ventilation Tube	Donaldson Fluoroplastic	1.14mm	$20.00

GY062	Ventilation Tube	Donaldson Ultrasil Silicon	1.14mm	$20.00

GY063	Ventilation Tube	Duravent Silicon	1.27mm	$20.00

GY064	Ventilation Tube	Duravent Blue Ultrasil	1.27mm	$20.00

GY065	Ventilation Tube	Paparella w/tab Fluoroplastic, Silicon, Soft 	1.02 - 2.03mm	$20.00

Silicon, Ultrasil

GY067	Ventilation Tube	Shea  w/Tab - Silicone	0.76mm	$20.00

GY068	Ventilation Tube	Shea Parasol w/Tab Small Flange - Silicone	1.02mm	$20.00

GY069	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.02mm	$20.00

GY070	Ventilation Tube	Shea Parasol w/Tab - Silicone	1.52mm	$20.00

GY071	Ventilation Tube	Straight Fluoroplastic or Polyethylene 	0.89 x 12mm, 0.86 x 7mm, 1.14 x 	$20.00

12mm, 1.14 x 7mm

GY072	Vocal Cord Medialisation Implant	Vocom Larynx Medial Implant - 	3 - 7mm Head	$675.00

Hydroxylapatite

GY073	Vocal Cord Medialisation Implant	Vocom Shim for Medial Implant - 	1mm - 3mm Offset	$345.00

Hydroxylapatite

GY074	Wehrs II Stapes Prostheses	Wehrs HAPEX Incus Prostheses, Single & 	0.6 - 1.57mm Shaft Dia	$675.00

Double Notch

GY078	Dornhoffer Prostheses	Hydroxyapetite head/HAPEX shaft PORP and 	0.8mm Shaft Dia TORP, 1.3mm 	$360.00

TORP	Shaft Diameter PORP

GY080	Ossicular Chain Prosthesis	Micron adjustable TORP/PORP. Titanium	2-10mm, 2-5mm	$360.00	$500.00

GY081	Piston: Stapes Prosthesis	Smart: Nitinol/Flouroplastic	0.5, 0.6, 0.8 x 3.75-4.75mm	$255.00	$535.00

Medical Vision Australia Pty Ltd

MF001	Endoxane	Silicone tracheal and bronchial stents - Dumon	10 - 20mm diameter, 20 - 60mm 	$1,000.00

length

MF002	Tracheobronxane Silmet	Nitinol wire - tracheal and bronchial stenets - 	12 - 20mm diameter, 20 - 90mm 	$2,500.00

Dumon	length

Prostheses List by Category and Sponsor	Page 31 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medtronic Australasia Pty Ltd

MC255	Medtronic Xomed Australia Material 	ePTFE - expanded polytetrafluroethyelene	0.75cm x 40cm x 0.6mm; 0.4cm x 	$1,110.00

Implantable Sterile - Gore Thyroplasty	20cm x 0.6mm; 0.6cm x 20cm x

0.6mm

MC256	Pressure Pulse Generator Meniett 20	Composition - Polycarbonate	One size only	$5,060.00	To be claimed only where medical

therapy such as lifestyle (general

health assessment and stress

reduction) and oral medications

(diuretics, anti-emetics, anti-vertigo

and steriods) have been unsuccessful

MC258	Ossicular, Incus and Stapes	Flex H/A, Dense H/A, Titanium, SS, 	0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 	$330.00

Fluroplastic, Polycel; Roberson Stapes 	x 10.2mm; 4.0 - 4.75mm

Prostheses & Big Easy Piston. Middle Ear

Prostheses

MC259	Ossicular, Incus and Stapes	Flex H/A, Polycel, SS	Small, Medium, Large, 0.6 x 2.2 x 	$190.00

8.0mm

MC260	Ossicular, Incus and Stapes	H/A, Polycel, SS	0.6 - 0.8mm x 3.0 - 4.0mm x 7.0 - 	$236.00

8.0mm

MC261	Ossicular, Incus and Stapes	Polycel, SS, Fluroplastic	0.6 - 1.17mm x 0.3 - 4.0mm x 4.75	$106.00

- 8.0mm

MC262	Ossicular, Incus and Stapes	Platinum, Fluroplastic, SS, Polycel	0.4 - 1.17mm x 2.2 - 8.8mm x 3.5 -	$104.00

10.0mm

MC263	Ossicular, Incus and Stapes	SS, Fluroplastic, Polycel	0.5 - 0.6mm x 3.5 - 6.0mm and 	$104.00

One Size Only

MC264	Septal Button 	Silicone	3cm 	$149.00

MC265	Silicone Blocks 	Netterville Phonoform Block - Right, Left, 	Right - One size only, Left - One 	$275.00

Wedge & Strip	size only, Wedge - One size only &

Strip - One size only

MC266	Prostheses Ossicular Incus and Stapes	H/A, Polycel, SS	0.6 - 4.0mm x 2.7 - 5.0mm x 1.5 - 	$179.00

10.0mm

MC267	Ossicular, Incus and Stapes	Universal Middle Ear Prosthesis, titanium 	2.5 - 4.0mm x 10.0mm	$360.00

round and cam head design

MC268	Activent Antimicrobial Ventilation Tube	Silicone, Silver Oxide, Fluroplastic	0.76 - 1.52mm x 2.1 - 9.5mm x 1.0	$20.00

- 12.0mm

MC269	Activent Antimicrobial Ventilation Tube	Silicone, Silver Oxide, Fluroplastic	1.02 - 1.27mm x 0.9 - 2.4mm	$20.00

MC270	Activent Antimicrobial Ventilation Tube	Silicone & Silver Oxide. Sheehy	1.27 x 2.9 x 1.3mm	$20.00

Prostheses List by Category and Sponsor	Page 32 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC271	Vent Tube	Silicone, Fluroplastic, Titanium, SS	1.02 - 1.27mm, 1.58 - 2.7mm	$20.00

MC272	Vent Tube	Silicone, Fluroplastic	1.02 - 1.52mm x 0.9 - 4.45mm	$16.00

MC273	Vent Tube	Silcone Fluroplastic	1.02 - 1.27mm x 1.3 - 3.0mm	$12.00

MC274	Vent Tube	Titanium, Fluroplastic	1.02 - 1.27mm x 1.0 - 3.5mm	$12.00

MC275	Vent Tube	Fluroplastic, Silicone	1.14 - 1.27mm x 0.9 - 3.0mm	$14.00

MC276	Vent Tube	Silicone, Fluroplastic, H/C Flex	0.76 - 1.27mm x 1.0 - 7.5mm	$20.00

MC277	Vent Tube	Silicone, Fluroplastic, C-Flex	0.89 - 1.52mm x 2.3 - 12.0mm	$18.00

MC278	Vent Tube	Silicone, Fluroplastic	0.76 - 1.27mm x 1.5 - 12.0mm	$20.00

MC279	Vent Tube	Microgel, Titanium, SS	1.02 - 1.27mm x 2.7 - 9.1mm	$20.00

MC280	Vent Tube	Silicone, Fluroplastic	1.02 - 1.52mm x 1.3 - 12.0mm	$20.00

Morton Surgical Pty Ltd

MG003	Micromedics Ventilation Tubes	Micromedics;Shepard;1.0mm / 	$12.50

1.14mm lumen;Fluroplastic /

Silicone;w.tab / w.wire;box of 6 /

box of 50

MG011	Micromedics Ventilation Tubes	Micromedics; Donaldson; 1.14mm 	$19.50

lumen; Silicone / Fluroplastic;

w.tab; box of 6 / box 50

MG012	Micromedics Ventilation Tubes	Micromedics; Paparella-I / Paparella-	$15.50

II; 1.14mm / 1.42mm lumen;

Silicone; box of 6 / box of 50

MG013	Micromedics Ventilation Tubes	Micromedics; T-tubes; 	$17.50

(12x10)/(5x8)/(5x4)/(8x5.5);

1.14mm / 1.27mm / 1.4mm lumen

; silicone; box of 6 / box of 50;

MG014	Micromedics Ventilation Tubes	Micromedics;  Armstrong; bevelled 	$14.50

straight / grommit / w.wire;  7mm /

7.5mm / 1.14mm; silicone /

fluroplastic; box of 6 / box of 50

MG015	Micromedics Ventilation Tubes	Micromedics; Collar Button; 	$10.50

1.27mm lumen; fluroplastic; box of

6 / box of 50

Prostheses List by Category and Sponsor	Page 33 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MG016	Micromedics Ventilation Tubes	Micromedics;Reuter Bobbin;1.0mm	$11.50

/ 1.14mm lumen; fluroplastic; box

of 6 / box of 50

MG017	Micromedics Ventilation Tubes	Micromedics; Shah with wire; mini 	$11.50

0.76mm lumen; fluroplastic;  box of

6 / box of 50

O R Paradigm Pty Ltd

OS001	Ossicular Prosthesis	ALTO	Head Size 2.5mm x 3.5mm; Length	$675.00

2.0mm - 8.0mm; Distal Diameter

0.8mm - 1.2mm

OS003	Ossicular Prosthesis	Otosil	Head Size 3.0mm - 4.0mm; Length 	$450.00

6.0mm -8.0mm; Shaft Diameter

1.0mm -  2.0 mm

OS006	Ossicular Prosthesis	Dense HA	Head Size 3.0mm - 4.0mm; length 	$360.00

4.0mm - 8.0mm;  Shaft Diameter

0.8mm - 2.0mm

OS008	Ossicular Prosthese - PORP	Dense HA Footplate Shoe	Width 2.0mm; Height 1.32mm	$150.00

OS011	Ossicular Prostheses - PORP	Gator Stapes	Shaft Diameter 0.6mm; Length 	$450.00

3.5mm - 5.5mm

OS012	Ossicular Prostheses - PORP	Titanium Bucket	Shaft Diameter 0.4mm - 0.8mm; 	$490.00

Length 4.0mm - 5.0mm

OS013	Ossicular Prostheses - PORP	Causse Type Fluoroplastic Stapes	Shaft Diameter 0.4mm - 0.8mm; 	$90.00

Length 3.5mm - 6.0mm; Loop

Diameter 0.6mm

Pacific Medical

PM028	Stapes	Bell/Aerial/Angular Prosthesis/Piston  - 	1.75 - 7.00mm	$330.00	$444.00

Gold/Titanium

PM032	K-Piston	Gold/Titanium	ID 0.4,0.6mm	$221.75	$249.00

PM033	Montgomery Thyroplasty Implant System	Silicone	6,7,8,9,10,11,12	$1,172.00	$1,928.00

PM057	Provox Voice Prosthesis	Long term indwelling; Silicone	4.5,6,8,10,12.5mm	$335.00	$356.00	Only able to be claimed once for the

initial implant

PM065	Tympo Vent	Otological ventilation tubes, short medium 	Length 2.2	$12.59

term, Donaldson fluoroplastic/blue

PM066	Tympo Vent	Otological ventilation tubes, straight tube	Length 7.0 - 7.2mm	$7.50

Prostheses List by Category and Sponsor	Page 34 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PM068	Tympo Vent	Otological ventilation tubes, short medium 	Length 2.8	$20.00	$20.77

term, star tube, silicone

PM072	Tympo Vent	Otological ventilation tubes, short medium 	Length 12.4	$13.32

term, shepard with tail, silicone/blue

PM074	Tympo Vent	Otological ventilation tubes,  paparella with tab	Length 2.2mm	$17.83

PM075	Tympo Vent	Otological ventilation tubes, collar button, 	Length 1.5mm	$29.92

tubingen type gold, gilded silver

PM079	Tympo Vent	Otological ventilation tubes, t-tube	Length 6 - 12mm	$19.08

PM083	Tympo Vent	Otological ventilation tubes, long term, collar 	Length 1.5	$26.78

button - tubingen type, titanium

PM086	Tympo Vent	Otological ventilation tubes, short medium 	Length 1.6	$50.10

term, reuter bobbin without holes, titanium

PM088	Tympo Vent	Otological ventilation tubes, donaldson, reuter 	Length 1.5mm - 9.8mm	$9.00

bobbin, shepard

PM089	Tympo Vent	Otological ventilation tubes, short medium 	Length 1.8	$10.55

term, bevel bobbin, fluoroplastic/blue

PM090	Tympo Vent	Otological ventilation tubes, armstrong	Length 3.8 - 10.0mm	$13.10

PM091	Tympo Vent	Otological ventilation tubes, short medium 	Length 2.0	$8.62

term, collar button, fluoroplastic/blue

PM102	Tracheal Cannula System	Short and long term Cannula (Medical Grade 	Diameter 9-13mm; Length 37m & 	$298.00

Silicone)	101mm

PM103	Tracheal Cannula System	Cannula Speaking Valves (Medical Grade 	4-10	$125.00	Only able to be claimed once for the

Plastic)	intial implant

PM104	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, 	Paediatric/Standard - 	$471.00

Tapered and Hebeler in clear and radiopaque	Clear/Radioplaque

PM106	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, 	ID 8/10, 10/13, 12, 15, 18mm; 	$549.00

Tapered, Hebeler and HMS, in clear and 	Length 76, 77, 79, 159, 163mm

radiopaque

PM107	Laryngeal Keel	12-16mm Keel	$251.00

PM115	Montgomery Safe-T-Tube	Paediatric, Standard, Thoracic, Extra-Long, 	ID 7, 9, 11mm; Length 100, 	$769.00

Tapered, Hebeler and HMS

PM117	Passy-Muir Speaking Valve	Tracheostomy and Ventilator	15mm I.D./ 22 & 23mm O.D.	$102.00

Prostheses List by Category and Sponsor	Page 35 of 549

EAR, NOSE & THROAT

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Pacing Importers Pty Ltd

PI005	Combi C40+ Implantable Auditory Stimulator	One Size Only	$11,450.00

PI006	Tempo+ Auditory Implant Speech Processor	Tempo+ Auditory  Implant Speech Processor	One Size Only	$12,450.00

Precise Medical Supplies

PR001	Medasil Teflon Aural Grommets	Teflon grommets	Shepard with wire	$12.00

PR002	Medasil Teflon Aural Grommets	Teflon grommets	Shepard without wire	$12.00

PR003	Medasil Teflon Aural Grommets	Teflon grommets	Shah with wire	$13.00

PR004	Medasil Teflon Aural Grommets	Teflon grommets	Shah without wire	$13.00

PR005	Medasil Teflon Aural Grommets	Teflon grommets	Collar button	$12.00

PR006	Medasil Teflon Aural Grommets	Teflon grommets	Reuter bobbin	$16.00

Stryker Australia Pty Ltd

ST795	Titanium Middle Ear Prostheses	Fisch Incus Prostheses: short, medium, large, 	All Sizes	$238.00

Titanium

ST796	Titanium Middle Ear Prostheses	Fisch Neomalleus Prostheses, Titanium	1.1x5mm	$190.00

ST798	Titanium Middle Ear Prostheses	Fisch Total Prostheses: with foot, Titanium	0.6x10mm	$360.00

Technology For Life Pty Ltd

TE010	Tracheal/Broncheal Stent	Silicone, Dumon	10/20 to 18/80	$1,000.00	$1,317.00

TE011	Bronchial Tracheal Stent	Silicone, Dumon	10/20 to 18/80	$1,000.00	$1,680.00

TE012	Harrell Y Stent Tracheal	Silicone, Dumon	10/10/20 to 16/16/70	$1,240.00	$1,740.00

TE013	Westaby T Y Stent Tracheal	Silicone, Dumon	10/10/20 to 16/16/90	$1,240.00	$2,160.00

William A Cook Aust Pty Ltd

WC073	Tracheal/broncheal stent	Gianturco-Rosch Trancheobronchial Stent	Expanded Diameter 15-40 mm 	$1,240.00

Length 5cm

WC074	SONG-Nasolacrimal Duct Stent Set (SNDS)	Nasolacrimal Stent	Stent 6Fr, 35mm, Stent Oval or 	$283.00

Acute Angle, Radiopaque proximal

tip 0.5mm or Entended proximal tip.

Prostheses List by Category and Sponsor	Page 36 of 549

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Applied Medical Australia Pty Ltd

MH008	Applied Medical Laparoscopic Clip Applier - 	Disposable Clip Applier made from 	Medium - large - 20 clips per device	$190.00	Temporary Approval, pending review

Disposable Cartridge - CA001 Box of 10	polycarbonate, nylon, stainless steel, liquid 	 of product group

crystal polymer, bone wax, titanium clip.  The

disposable cartridge is used in conjunction

with a reuseable handle.

MH009	Applied Medical Laparoscopic Clip Applier - 	Disposable Clip Applier made from 	Medium - large, 20 clips per device	$200.00	Temporary Approval, pending review

Disposable CA080 Box of 6	polycarbonate, nylon, stainless steel, liquid 	 of product group

crystal polymer, bone wax, titanium clip

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS001	Endoclip Disposable Loading Unit; 	Single use loading unit with 8 titanium clips; 	One size only	$69.00	Temporary Approval

MultApplier Disposable loading unit.	Disposable clip cartridge with 8 titanium clips

AS045	STAT TACK* and Endoscopic Tacker 	Endoscopic TACKER*; Titanium; Titanium 	20 tacks; 30 tacks; 5mm; 4mm, 	$429.00	Temporary Approval

Device; PROTACK* Hernia Stapling Product;	Surgical Stapler.	4.8mm (10 staples).

ENDO UNIVERSAL*

AS046	Endo GIA* Universal Stapling System; 	Multifire 30 disposable stapler with titanium 	12mm; One size only.	$415.00	Temporary Approval

Versafire GIA*.	staples; Disposable surgical stapling

instruments or cartridges.

AS073	ENDOCLIP*; Acuclip Single use Endoscopic 	Titanium Surgical Stapler	5mm (12 clips); One size only.	$412.00	Temporary Approval

Multiple Clip Applier.

AS074	ENDOCLIP*	Titanium Surgical Stapler	10mm (ML, M, L)-(20 clips)	$415.00	Temporary Approval

AS076	ENDO TA* reloading unit	Titanium Surgical Stapler DLU	30mm -2.5, 30mm-3.5	$186.00	Temporary Approval

AS077	ENDO GIA*	Titanium Surgical Stapler	30 - 35mm	$615.00	Temporary Approval

AS081	ENDO GIA* reloading unit	Titanium Surgical Stapler DLU	30 - 35mm; 45mm; 60mm.	$246.00	Temporary Approval

AS092	ENDO - Herna reloading unit; VERSA 	Titanium Surgical Stapler DLU	4mm, 4.8mm (10 staples).	$108.00	Temporary Approval

TACK* reloading unit.

AS095	STAT TACK*  and Endoscopic Tacker 	STAT TACK*	One size only	$231.00	Temporary Approval

Device

Bard Australia Pty Ltd

BA124	Memotherm Biliary Stent	Nitinol. Includes deployment system	Sizes - Diameter 8 - 10mm, Length 	$2,200.00

40 - 100mm

Prostheses List by Category and Sponsor	Page 37 of 549

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Boston Scientific Pty Ltd

BS064	Enteryx Procedure Kit	Enteryx is supplied as a kit that is made up of 	Solution 10ml, DMSO 10ml, 	$4,000.00

Enteryx solution, DMSO (dimethyl sulfoxide) 	syringes 1ml (2), needles 18 gauge x

a primer solution, Enteryx injection catheters, 	 1 1/2

syringes and needles

BS066	Biliary Drainage Stent, Amsterdam Biliary 	The Biliary Stent is supplied with a push 	French Size 7Fr to 12Fr, Length 	$200.00

Stent	catheter and possibly a guide catheter.	between pigtails/barbs:  5cm to

15cm

BS070	Wallstent RX Biliary Endoprosthesis with 	Self-expanding metal stent constructed from a 	Diameter: Up to 10mm, Stent 	$3,000.00

Unistep Plus delivery System	biomedical Cobalt-based super alloy wire, 	Length: Up to 100mm

Eligiloy, with a tantalum core.  The stent is

either bare or covered with silicone. The stent

is mounted on a delivery catheter.

BS071	Ultraflex Precision Colonic Stent System	The Ultraflex Precision Colonic Stent System 	Dia 25mm along body and 30mm at	$3,000.00

consists of a self-expanding metal stent and a 	 flared distal section.  Stent Length

delivery catheter.	60 - 120mm

BS082	Resolution Clip Device	Pre-loaded endoscopically applied clip, 	7Fr, 11mm jaw opening	$140.00

radiopaque stainless steel & cobalt chrome.

BS089	WallFlex Oesophageal Metal Stent	TTS, closed cell, catheter delivery system, 	Lengths: up to 15cm	$3,500.00

nitinol

BS090	WallFlex Enteral Metal Stent 	TTS, closed cell, catheter delivery system, 	Lengths: up to 15cm	$3,500.00

(Duodenal/Colonic)	nitinol

BS117	WallFlex Biliary RX Stent	TTS, closed cell, catheter delivery system, 	Lengths up to 10cm	$3,500.00

nitinol

ConMed Linvatec Australia Pty Ltd

LV076	Richard Allan Endoscopic Accessories	Titanium endoscopic clips with applier	Medium-Large, 9mm closed. 20 clips	$243.00	Temporary Approval

LV081	Open Clip Applier	Titanium	25 medium size titanium clips	$149.00	$174.00	Temporary approval

LV094	Niti-S Pyloric Stent D-type	Niti-S Pyloric self-expanding metal stent D-	Diameter:  16 - 18mm Length: 40 - 	$3,000.00

type made from Nitinol in D mesh 	120mm

construction, uncovered, OTW or TTS

LV095	Niti-S Biliary Stent D-Type	Niti-S Biliary Stent D-Type Uncovered.  	10mm Diameter x 50 - 120mm 	$3,000.00

Deployed via stent delivery system for use 	length

TTS or percutaneously

Prostheses List by Category and Sponsor	Page 38 of 549

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LV096	Niti-S Biliary Stent Y-Type and T-Type	Niti-S Biliary is a self expanding metal stent, 	10mm Diameter x 5 - 10cm Length	$3,000.00

made from Nitinol uncovered.  Stent Y-Type

for TTS approach, T-Type for percutaneous

approach.

LV097	Niti-S Biliary Stent	Niti-S Biliary Stent is a self expanding Nitinol	10mm Diameter x 5 - 10cm Length	$2,900.00

metal stent made from single wire

construction with shape memory, uncovered.

Also available covered with 5mm bare at both

ends.  Loaded via stent delivery system for use

TTS or percutaneously

LV098	Niti-S Biliary ComVi Stent	Niti-S Biliary ComVi Stent, non-porous 	18mm & 10mm Diameter.  5cm - 	$3,000.00	$3,500.00

PTFE membrane between Nitinol double layer	12cm Length

'D' mesh.  Deployed via stent delivery system

for use TTS or percutaneously.

LV099	Niti-S Oesophageal Stent	Niti-S Oesophageal sefl-expanding metal stent 	Diameter: 24 x 16 to 26 x 18mm  	$3,400.00

made from Nitinol.  Available PTFR covered, 	Length:  60 - 150mm

uncovered or bare head with string for removal

or repositioning.

LV100	Niti-S Oesophageal Double Stent	Niti-S Oesophageal Double self-expanding 	7cc	$3,500.00

metal stent made from Nitinol, with an

antimigration outer uncovered wire

construction to allow the mesh to embed in the

oesophageal wall.  Inner polyurethane layer to

preven tumour ingrowth.  String for retrieval or

repositioning

LV101	Niti-S Colorectal Stent D-type	Niti-S D- type Colorectal self-expanding metal 	Diameters: 18 - 28mm Lengths: 60 -	$3,400.00

stent made from Nitinol in unique D mesh 	 120mm

construction, uncovered OTW or TTS.  With

string for ease of removal.

LV102	Niti-S Colorectal Stent	Niti-S Colorectal self-expanding metal stent 	Stent Dimensions mm: 18x26x30, 	$2,900.00

made from Nitinol.  Stent PTFE covered and 	18x24x30, 20x26x30, 22x30x30,

uncovered OTW or TTS with string for ease of	24x30x30, 20x28x30 Length mm:

removal.	30-90

Device Technologies Australia Pty Ltd

DE262	ALIMAXX-E Esophageal Stent System	Esophageal stent, radiopaque, self expanding 	Diameter 18-22mm, Length 70-	$2,500.00

nitinol covered stent, premounted on a delivery	120mm

system

Prostheses List by Category and Sponsor	Page 39 of 549

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Edwards Medical Supplies

EW001	Endox Visu-Loc Clip Applier	Single-use laparoscopic clip applier	Medium, Large	$265.00

Endotherapeutics Pty Ltd

ET035	Sinus-Esophageal Stent	Self expanding stent made of nickel - titanium 	Diameter 24-18-24mm, length 	$3,000.00	$3,300.00

alloy	50,70,90,120mm; Diameter 26-20-

26, length 50,70,90,120mm

ET038	SX-Ella Biliary Stent	Uncovered, self-expanding nitinol stent	Dia 8-12mm, length 50-77mm	$3,600.00

ET039	SX-Ella Tips Stent	Uncovered, self-expanding nitinol stent	Dia 10-14mm, length 52-77mm	$4,000.00

ET045	Boubella Esophageal Stent	Self expandable stainless steel wire stent with 	Length 90 - 195mm	$4,100.00

anti-reflux valve

Incision Pty Ltd

IP005	Durasphere GR	Composition: Pyrolitically carbon coated silica	Syringe 1 ml	$520.00

bead in an aqueous gel. Injectable bulking

agent for the treatment of GERD (Reflux

Disease). Syringe plus needle.

IP006	Durasphere GR	Composition: Pyrolitically carbon coated silica	Syringe 3ml	$1,560.00

bead in an aqueous gel. Injectable bulking

agent for the treatment of GERD (Reflux

disease). Syringe plus needle.

Johnson & Johnson Medical Pty Ltd

JJ435	EndoANCHOR	EndoANCHOR System with Nitinal Anchors	Device Length 482; Device Shaft 	$429.00

Length 360mm; Shaft Diameter

5mm; Implantable Construct Width

6.7mm, Implantable Construct

length 5.9mm

JJ482	LIGAMAX 5mm Endoscopic Clip Applier	LIGAMAX 5mm Endoscopic Clip Applier	Medium / Large	$412.00

JJ564	ECHELON 60mm Endocutter Reload	ECHELON 60mm Endocutter Reload	60mm	$235.00

JJ568	Echelon 60mm Endocutter	Echelon 60mm Endocutter	Standard Compact Long	$595.00

Medtel Australia Pty Ltd

ME124	Emphasys Endobronchial Valve	One way valve	Small, Medium, Large	$6,300.00

Morton Surgical Pty Ltd

MG018	HAGA Acess Port	Access Port contains Titanium and Silicone	Standard	$600.00

Prostheses List by Category and Sponsor	Page 40 of 549

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

N Stenning  & Co Pty  Ltd

NG048	Hanarostent/Choostent Covered Oesophageal 	Oesophageal Covered Stent Silicone Nitinol 	Diameter: 18mm - 22mm Usable 	$2,500.00

Stent	Wire 99% Pure Gold Complete with delivery 	Length: 30mm - 130mm

device

NG050	Hanarostent Colo-Rectal Stent	Colo-Rectal Stent Silicone covered Nitinol 	16mm - 24mm Diameter, 38mm - 	$1,596.00

Wire 99% Pure Gold complete with delivery 	130mm Length

device

Olympus Australia

OL001	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 clips	MD-59 - 90 degree, standard; MD-	$11.25	Temporary Approval

850 - 135 degree, standard; HX-600-

090 - standard, sterile; HX-600-135

- standard, sterile

OL002	Individual Ligating Clip	Rotatable Clip Fixing Device. Pack of 50 clips	MH-858 - 90 degree, long. MH-859 	$10.78	Temporary Approval

- 90 degree, short. MAJ-458 - 90

degree, short. MAJ-459 -135 degree,

short.

OL006	Individual Ligating Clip	Ligating Device - loops. Pack of 10 loops.	MAJ-254-30mm loop;  MAJ-339- 	$32.69	Temporary Approval

13mm loop; MAJ-340 -20 mm loop

OL009	Rotatable Clip fixing device	Endoscopic Mechanical	Standard or long clip length, 9 or 	$135.00

11mm jaw opening

OL010	Ligation device	Disposable pre-assembled applier and ligating 	Sheath Length 1650-2300mm	$110.00

loop

Pyramed Australia LTD

PY007	Sinus-Esophageal Stent	Self expanding stent made of nickel - titanium 	Diameter 24-18-24mm, length 	$3,000.00	$3,300.00

alloy	50,70,90,120mm; Diameter 26-20-

26, length 50,70,90,120mm

William A Cook Aust Pty Ltd

WC014	Cope Gastrointestinal Suture Anchor Set 	Standard, pediatric	$125.00

(GIAS)

WC166	Solus Biliary Stent  Set	Double Pigtail with OASIS introducer. Sof-	Diameter 10 FR, Length:1 - 15 cm 	$296.00

flex material - with radiopaque bands.	Between pigtails

WC174	Zilver Biliary Stent System	Self expanding Metal Biliary Stent System	Diameters: 6, 8, 10mm; Lengths: 4,	$2,500.00

6,8cm

WC195	Cook Central Venous Catheterisation Kits	Long Term Drug Infusion Catheter With or 	Triple Lumen 12.5fr	$257.00

Without Clamp and Cuff

Prostheses List by Category and Sponsor	Page 41 of 549

ENDOSCOPIC PRODUCTS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC200	Fusion Zilver Biliary Stent System	Self expanding Metal Biliary Stent with 	Diameters: 6, 8 & 10mm; length: 4,	$2,752.00

Fusion Introducer System	 6 & 8cm

WC212	Zimmom Pancreatic Stent	Single pigtail radio-opaque Polyethylene Stent	Diameter 3 - 7 FR, Length 3 - 18cm	$93.00

with or without ductal flaps

WC213	Endoscopic Clipping Device	TriClip Endoscopic Clipping Device	7Fr - 3 Prong 12mm, 8Fr - 3 prong 	$136.00

12mm

WC228	Tannenbaum Biliary Stent Set preloaded on 	Plastic Biliary Stent	8.5 - 11.5 Fr,   5 - 15 cm	$210.00

the OASIS Introduction System

Abbott Australasia Pty Ltd

AY001	Flexiflo Stomate - low profile gastrostomy kit	Composition - biocompatible silicone.  Items 	Size: 18 french, length: 2, 2.8, 	$200.00

included in kit/product - 1 low profile stomate 	4.3cm; Size 22 french. Length: 1.7,

gastronomy tube, Obturator, Y port connector 	2.8, 4.3cm

with right angle adaptor, Lubricant.

AY002	Flexiflo inverta PEG kit Basic, Flexiflo inverta	Composition - biocompatible silicone tube.  	20F	$200.00

PEG kit with snare	Items included in kit/product - Sliding

retention disc, Insertion wire, Gastrostomy

tube with attached Dilator Catheter, seldinger

needle 14g, magna port connector, scalpel,

Snare (in kit with snare)

AY003	Durapeg kit	Composition - biocompatible Polyurethene 	16F	$230.00

tube.  Items included in kit/product - Sliding

retention disc, drum wire dispenser, 16 french

peg tube, pinch clamp, luer lock connector,

scalpel.  Endoscopically removed

AY004	Hide-A-Port	Composition - biocompatible silicone.  Items 	Size: 14 french, length: 1.5cm; Size:	$170.00

included in kit/product - 1 low profile Balloon 	 16 french, Length: 1.5, 2.0cm;

Gastrostomy tube, Straight extension tube, 	Size: 18 french, Length: 1.2cm,

Extension tube with right angle adaptor, luer 	1.5cm, 1.7cm, 2.0cm, 2.3cm,

lock syringe, lubricant.	2.5cm, 3.0cm, 3.5cm, 4.0cm; Size:

20 french, Length: 2.0cm, 2.7cm,

3.0cm, 3.5cm, 4.0cm; Size: 24

french, Length: 1.7cm, 2.0cm,

2.5cm, 2.7cm, 3.5cm

AY005	Flexiflo balloon gastrostomy tube	Composition - biocompatible silicone.  Items 	16 french, 18 french, 20 french	$85.00

included in kit/product - sliding retention disc

and opened edged feeding port

Prostheses List by Category and Sponsor	Page 42 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Advanced Biomedical Pty Ltd

AB003	Bioglue Surgical Adhesive - 5ml Starter Kit	Model No BG 3005 S (Bioglue Surgical 	One size only	$665.00	Temporary Approval

Adhesive)

AB004	Bioglue Surgical Adhesive - 10ml Starter Kit	Model No BG 3010 S (Bioglue Surgical 	One size only	$1,030.00	Temporary Approval

Adhesive)

AB005	Bioglue Surgical Adhesive - 5ml Solutions 	Model No BG 3005-5 (Bioglue Surgical 	One size only	$478.00	The benefit amount/minimum benefit

Cartridge 5 Per pack	Adhesive)	 amount is for an individual product

which comes as a pack of five,

Temporary Approval.

AB006	Bioglue Surgical Adhesive - Applicator Tip 	Model No BGAT-20  (Bioglue Surgical 	One size only	$31.00	Temporary Approval

Extender	Adhesive)

AB007	Bioglue Surgical Adhesive - 10ml Solutions 	Model No BG 3010-5 (Bioglue Surgical 	One size only	$841.00	The benefit amount/minimum benefit

Cartridge 5 per pack	Adhesive)	 amount is for an individual product

which comes as a pack of five,

Temporary Approval.

AB008	Bioglue Surgical Adhesive - Standard 	Model No BGAT (Bioglue Surgical Adhesive)	One size only	$26.00	Temporary Approval

Applicator Tip

AB009	Bioglue Surgical Adhesive - Applicator Tip 	Model No BGAT-10 (Bioglue Surgical 	One size only	$31.00	Temporary Approval

Extender	Adhesive)

AB010	Bioglue Surgical Adhesive - Applicator Tip 	Model No BGAT-27 (Bioglue Surgical 	One size only	$31.00	Temporary Approval

Extender	Adhesive)

AB011	Bioglue Surgical Adhesive - 2ml Solutions 	Model No BG3002-5 (Bioglue Surgical 	One size only	$394.00	The benefit amount/minimum benefit

Cartridge  5 per pack	Adhesive)	 amount is for an individual product

which comes as a pack of five,

Temporary Approval.

AB012	Peri-Strips Dry	Model No PSD 4506-EN	One size only	$342.00	Temporary Approval

AB013	Peri-Strips Dry	Model No PSD 6006-UN	One size only	$342.00	Temporary Approval

AB014	Peri-Strips Dry	Model No PSD 4506-ETSN	One size only	$342.00	Temporary Approval

AB016	Peri-Strips Dry	Model No PSD 3006-N	One size only	$342.00	Temporary Approval

AB017	Peri-Strips Dry	Model No PSD 10006-EN	One size only	$342.00	Temporary Approval

AB018	Peri-Strips Dry	Model No PSD 4506-UN	One size only	$342.00	Temporary Approval

AB019	Peri-Strips Dry	Model No PSD 9006-UN	One size only	$342.00	Temporary Approval

AB020	Peri-Strips Dry	Model No PSD 8006-UN	One size only	$342.00	Temporary Approval

AB021	Peri-Strips Dry	Model No PSD 7506-EN	One size only	$342.00	Temporary Approval

Prostheses List by Category and Sponsor	Page 43 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AB022	Peri-Strips Dry	Model No PSD 5506-EN	One size only	$342.00	Temporary Approval

AB063	Peri-Strips Dry	Model No PSD 3506-AN	One size only	$342.00	Temporary Approval

Advanced ORT Pty Ltd

OA003	Adjustable Peri Gastric Belt-Midband	Silicon moulded peri gastric band and 	Peri gastric band - 2.2 x 17.5 x 	$3,250.00

implantable chamber	0.8cm, Implantable chamber - one

size only

Atrium Australia-Pacific Rim Pty Ltd

AC005	Atrium polypropolene mesh - surgical mesh	Polypropolene	7.5 x 15cm	$77.00	$82.00

AC006	Atrium polypropolene mesh - surgical mesh	Polypropolene	30 x 30cm	$270.00	$282.00

AC007	Atrium polypropolene mesh - surgical mesh	Polypropolene	15 x 15cm	$87.00	$96.00

AC008	Atrium polypropolene mesh - surgical mesh	Polypropolene	26 x 36cm	$288.00	$297.00

AC009	Atrium polypropolene mesh - surgical mesh	Polypropolene - Pre-shaped with hole	6.5 x 12.5cm	$90.00	$96.00

AC010	Atrium polypropolene mesh - surgical mesh	Polypropolene	5 x 10cm	$77.00	$82.00

AC011	Atrium polypropolene mesh - surgical mesh	Polypropolene mesh plug	Small, Medium, Large and Extra 	$302.00	$317.00

Large

Australasian Medical & Scientific Ltd

AN001	Animas IR 1000 Insulin Infusion Pump	One size only	$6,500.00

AN002	Animas IR Insulin Infusion Cartridge	3.0ml Cartridge, sterile, indicated as reservoir 	one size only	$7.00

for insulin by the Animas infusion pump; not

intended for use with any other infusion device.

AN003	Animas Insulin Infusion Sets	(INFUSION SET, COMFORT, 23", HOSP 	one size only	$7.70

10, INFUSION SET, COMFORT 43", HOSP

10) Needle guard, soft cannula, adhesive tape,

introducer needle, cannula housing, tubing,

connector needle, circular protective cap and

disconnect cover.

AN004	Animas Insulin Infusion Set	(INFUSION SET, COMFORT, 23", STD 5/5	One size only	$7.70

AND INFUSION SET, COMFORT, 43"

STD 5/5) Needle guard, soft cannula, adhesive

tape, introducer needle, cannula housing,

tubing, connector needle, circular protective

cap and disconnect cover.

AN005	Animas 2020 Insulin Pump.	Ambulatory Insulin Infusion Pump	7.4cm x 5cm x 1.9cm	$7,750.00

Prostheses List by Category and Sponsor	Page 44 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AN006	Animas IR 1200 Insulin Infusion Cartridge 	Sterile, indicated as reservoir for insulin by the	Cartridge Capacity - 2.0mL or 200 	$7.50	Temporary Approval, pending review

(Insulin Infusion Pump IR 1200 Series)	 Animas Infusion Pump, not intended for use 	units	 of product group

with any other infusion device.

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS052	Chemosite Implantable Venous Access System	Port - Single Lumen (ChemoSite*)	7-9 french; 10.5 french.	$600.00	* Trademark of United States

Surgical Corporation

AS055	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; Monofilament 	7.6cm x 12.7cm Surgipro* mesh (3 	$52.00	* Trademark of United States

Polyproplylene.	Polypropylene.	x 5 inch)	Surgical Corporation

AS056	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; Monofilament 	35.6cm x 22.9cm Surgipro* mesh 	$207.00	* Trademark of United States

Polyproplylene.	Polypropylene.	(14 x 9 inch).	Surgical Corporation

AS057	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; Monofilament 	2.5cm x 10.2cm Surgipro* mesh (1 	$51.00	* Trademark of United States

Polyproplylene.	Polypropylene.	x 4 inch)	Surgical Corporation

AS058	Mesh Polyproplene; Monofilament 	Multifilament Polypropylene; Monofilament 	15.3cm x 15.3cm Surgipro* mesh 	$67.00	* Trademark of United States

Polyproplylene; SURGIPRO* Non Absorbable	Polypropylene; SURGIPRO, Non-Asborbable 	(6 x 6 inch); SPMM46: 10.2cm x 	Surgical Corporation

Monofilament Polypropylene Mesh.	Polypropylene Monofilament Mesh.	15.3cm (4 x 6 inch).

AS068	Surgipro Non Absorbable Polypropylene 	Polypropylene	Medium and Large	$69.00

Hernia Mate Plug System

AS091	VERSA TACK* stapler	Titanium Surgical Stapler	4, 4.8mm (10 staples)	$272.00	Temporary Approval

AS121	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene 	06 x 11cm, 15 x 10cm, 15 x 15cm	$89.00

standard mesh / light mesh

AS122	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene 	20 x 20 cm	$146.00

standard mesh / light mesh

AS123	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene 	30 X 30 cm, 30 x 32 cm	$250.00

standard mesh / light mesh/ X-shaped mesh

AS124	Parietene-Monofilament Polypropylene mesh	Parietene-Monofilament Polypropylene mesh 	06 x 12 cm	$155.00

Plug and Patch

AS125	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard 	13 x 09 cm, 15 x 10 cm, 15 x 15 	$200.00

Mesh/ Bi-dimensional, Bi-dimensional Rigid,

Three Dimensional

AS126	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Preshaped 	12 x 08 cm, 14x 09 cm, 13 x 09 cm	$200.00

Mesh Three-dimensional/Easy Grip, with Slit

AS127	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Standard 	20 x 20 cm, 30 x 30 cm	$250.00

Mesh/ Bi-dimensional, Bi-dimensional Rigid,

Three Dimensional

Prostheses List by Category and Sponsor	Page 45 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AS128	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Anatomical 	13 x 09 cm, 15 x 10 cm, 16 x 12cm	$205.00

Mesh Standard / With Slit and Folding / With

Slit and No Touch System

AS129	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Folding 	14x 10 cm	$185.00

Mesh/ Bi-dimensional with integrated Folding

System/ With Slit

AS130	Parietex-Multifilament Polyester Mesh	Parietex-Multifilament Polyester Mesh Plug	6 cm, 8 cm	$140.00

B Braun Australia Pty Ltd

BB082	Celsite Epoxy Single Access Port	Epoxy/titanium	Standard/small/baby	$600.00

BB083	Celsite Epoxy Dual Access Port	Epoxy/titanium	Standard/small/baby	$884.00

BB084	Celsite MBS Single Access Port	Methylbutadeine styrene	Standard/small	$475.00

BB086	Celsite Epoxy Peritoneal Port	Epoxy/titanium	32x27x13mm	$749.00

BB088	Premilene Mesh	Polypropylene	2.5x10cm	$40.00

BB089	Premilene Mesh	Polypropylene	4.5x9.5cm	$77.00

BB090	Premilene Mesh	Polypropylene	4.5x10cm	$75.00

BB091	Premilene Mesh	Polypropylene	5x10 cm	$57.00

BB092	Premilene Mesh	Polypropylene	5x30cm	$85.00

BB093	Premilene Mesh	Polypropylene	6x12.5cm	$83.00

BB094	Premilene Mesh	Polypropylene	6x13.5cm	$80.00

BB095	Premilene Mesh	Polypropylene	7.5x7.5cm	$90.00

BB096	Premilene Mesh	Polypropylene	7.5x12.5cm	$93.00

BB097	Premilene Mesh	Polypropylene	7.5x15cm	$75.00

BB098	Premilene Mesh	Polypropylene	10x10cm	$85.00

BB099	Premilene Mesh	Polypropylene	10x12.5cm	$78.00

BB100	Premilene Mesh	Polypropylene	10x15cm	$75.00

BB101	Premilene Mesh	Polypropylene	15x15cm	$83.00

BB102	Premilene Mesh	Polypropylene	26x36cm	$265.00

BB103	Premilene Mesh	Polypropylene	30x30cm	$270.00

BB104	Premilene Mesh	Self Forming Plug	All sizes, small, medium, large	$226.00

BB181	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	5x30cm, 5 pieces	$142.00

Surgical Suture Material Low Profile.

Prostheses List by Category and Sponsor	Page 46 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB182	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	26x36cm, 5 pieces	$505.00

Surgical Suture Material Low Profile.

BB183	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	7.5x7.5cm, 5 pieces	$124.00

Surgical Suture Material Low Profile.

BB184	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	15x15cm, 5 pieces	$134.00

Surgical Suture Material Low Profile.

BB185	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	30x30cm, 5 pieces	$345.00

Surgical Suture Material Low Profile.

BB186	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	4.5x9.5cm, 5 pieces	$142.00

Surgical Suture Material Low Profile.

BB187	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	6x12.5cm, 5 pieces	$147.00

Surgical Suture Material Low Profile.

BB188	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	4.5x10cm, 5 pieces	$131.00

Surgical Suture Material Low Profile.

BB189	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	6x13.5cm, 5 pieces	$137.00

Surgical Suture Material Low Profile.

BB190	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	4.5x10cm, 5 pieces	$126.00

Surgical Suture Material Low Profile.

BB191	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	6x13.5cm, 5 pieces	$138.00

Surgical Suture Material Low Profile.

BB192	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-Small, 5 pieces	$371.00

Surgical Suture Material Low Profile.

BB193	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-Medium, 5 	$370.00

Surgical Suture Material Low Profile.	pieces

BB194	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-Large, 5 pieces	$371.00

Surgical Suture Material Low Profile.

BB195	Premilene Mesh	Premilene Nonabsorbable Polypropylene 	Self-Forming Plug-X-Large, 5 pieces	$388.00

Surgical Suture Material Low Profile.

BB282	Easy-Pump C-Block RA	Elastomeric infusion pump, latex/polymer 	400ml	$185.00	The benefit amount/minimum benefit

blend. Fixed flow rate 5ml/hr.	 amount is for an indivudual product

which comes in a pack of 10.

BB283	Easy-Pump C-Block RA	Elastomeric infusion pump, latex/polymer 	400ml	$200.00	The benefit amount/minimum benefit

blend. Fixed flow rate 5ml/hr + 5ml bolus.  	 amount is for an indivudual product

Select-a-flow 2-14ml/hr.	which comes in a pack of 10.

Prostheses List by Category and Sponsor	Page 47 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB284	Easy-Pump C-Block RA	Elastomeric infusion pump, latex/polymer 	400ml	$200.00	The benefit amount/minimum benefit

blend.  Select-a-flow 2-14ml/hr + 5ml bolus.	 amount is for an indivudual product

which comes in a pack of 5.

BB285	Easy-Pump C-Block RA	Elastomeric infusion pump, latex/polymer 	400ml	$185.00	The benefit amount/minimum benefit

blend. Fixed flow rate 8ml/hr.	 amount is for an indivudual product

which comes in a pack of 10.

BB286	Easy-Pump C-Block RA	Elastomeric infusion pump, latex/polymer 	400ml	$185.00	The benefit amount/minimum benefit

blend.  Fixed flow Rate 10ml/hr.	 amount is for an indivudual product

which comes in a pack of 10.

Bard Australia Pty Ltd

BA046	The Bard Button Implantable Injection, 	Silicone Replacement Gastrostomy Device	18 - 24 French 	$293.00

Infusion Port

BA047	Gastrostomy Tube	Silicone Tubes and Replacement Tubes	12 - 24 French	$237.00

BA061	Bard Mesh 	PerFix Plug	Small, Medium, Large	$250.00

BA062	Bard Mesh  	Visilex Laparoscopic mesh	3 x 6" & 4.5 x 6"	$150.00

BA063	Bard Mesh  	Composix Ventral mesh	10"x14"	$1,122.00

BA064	Bard Mesh  	Composix Ventral mesh	12"x12"	$1,300.00

BA065	Bard Mesh  	Composix Ventral mesh	2" x 4"	$158.00

BA066	Bard Mesh  	Composix Ventral mesh	3" x 6"	$300.00

BA067	Bard Mesh  	Composix Ventral mesh	4" x 8"	$395.00

BA068	Bard Mesh  	Composix Ventral mesh	6" x 8"	$560.00

BA069	Bard Mesh  	Composix Ventral mesh	8" x 10"	$1,003.00

BA070	Bard Mesh  	Flat mesh	Small - 1" x 4" / 2" x 4" / 2" x 12" 	$140.00

/ 3 " x 6" / Pre-shaped 1.8" x 4" /

Pre-shaped 2.4" x 5.4"

BA071	Bard Mesh  	3D Mesh 	Large Left	$275.00

BA072	Bard Mesh  	3D Mesh 	Medium Left	$248.00

BA073	Bard Mesh  	3D Mesh 	Large Right	$275.00

BA074	Bard Mesh  	3D Mesh 	Medium Right	$248.00

BA075	Gauderer Ponsky 20Fr PEG Kits and Tubes	Genie PEG/Button System and replacement 	20Fr	$365.00

tubes

Prostheses List by Category and Sponsor	Page 48 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA083	Bard Mesh  	Kugel Patch	Small Oval 8 x 12cm	$400.00

BA084	Bard Mesh  	Kugel Patch	Large Oval 14 x 18cm	$570.00

BA085	Bard Mesh  	Kugel Patch	Small Circle 8 x 8cm	$400.00

BA086	Bard Mesh  	Kugel Patch	Large Circle 12 x 12cm	$550.00

BA087	Bard Mesh  	Kugel Patch	Medium Oval 11 x 14cm	$460.00

BA088	Memotherm Stents 	Colorectal, Nitinol, Self-expanding	25-30mm D, 60-100mm Length	$2,200.00

BA096	Bard Composix Kugel Hernia Patch	Small Oval w/e PTFE	8 x 12 cms	$588.00

BA097	Bard Composix Kugel Hernia Patch	Medium Oval w/e PTFE	11 x 14 cms	$690.00

BA098	Bard Composix Kugel Hernia Patch	Large Oval w/e PTFE	14 x 18 cms	$799.00

BA099	Bard Composix Kugel Hernia Patch	Small Circle w/e PTFE	8 x 8cms	$552.00

BA100	Bard Composix Kugel Hernia Patch	Large Circle w/e PTFE	12 x 12cms	$715.00

BA101	Bard Composix E/X Mesh	Elliptical	4" x 6" (10 x 15cm)	$615.00

BA102	Bard Composix E/X Mesh	Elliptical	6" x 8" (15 x 20cm)	$1,055.00

BA103	Bard Composix E/X Mesh	Elliptical	7" x 9" (18 x 23cm)	$1,270.00

BA104	Bard Composix E/X Mesh	Elliptical	8" x 10" (20 x 25 cm)	$1,590.00

BA105	Bard Composix E/X Mesh	Elliptical	10" x 13" (25 x 33 cm)	$1,976.00

BA106	Bard Composix E/X Mesh	Rectangle	10" x 14" (25 x 36 cm)	$2,184.00

BA107	Bard Dulex Mesh	Oval Shaped	7.5 x 10 cm, 1mm thickness	$447.00

BA108	Bard Dulex Mesh	Oval Shaped	8 x 12cm, 1mm thickness	$573.00

BA109	Bard Dulex Mesh	Oval Shaped	10 x 15 cm, 1mm thickness	$812.00

BA110	Bard Dulex Mesh	Oval Shaped	15 x 19 cm, 1mm thickness	$1,248.00

BA111	Bard Dulex Mesh	Oval Shaped	18 x 24 cm, 1mm thickness	$1,723.00

BA112	Bard Dulex Mesh	Oval Shaped	20 x 30cm, 1mm thickness	$2,432.00

BA113	Bard Dulex Mesh	Oval Shaped	26 x 34 cm, 1mm thickness	$2,939.00

BA114	Bard Dulex Mesh	Oval Shaped	10 x 15 cm, 2 mm thickness	$1,320.00

BA115	Bard Dulex Mesh	Oval Shaped	15 x 19 cm, 2 mm thickness	$2,030.00

BA116	Bard Dulex Mesh	Oval Shaped	18 x 24 cm, 2 mm thickness	$3,120.00

BA117	Bard Dulex Mesh	Oval Shaped	20 x 30 cm, 2 mm thickness	$4,060.00

BA118	Bard Dulex Mesh	Oval Shaped	26 x 34 cm, 2 mm thickness	$5,075.00

Prostheses List by Category and Sponsor	Page 49 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA119	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	12.5-7   2 cm x 6.25cm x 7mm	$21.00

source of surgical bleeding

BA120	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	50   8cm x 6.25cm x 1cm	$34.00

source of surgical bleeding

BA121	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	100   8cm x 12.5cm x 1cm	$55.00

source of surgical bleeding

BA122	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	100/Thin   8cm x 12.5cm x 3mm	$58.00

source of surgical bleeding

BA123	Avitene Ultrafoam	Hemostatic sponge applied directly to the 	200   8cm x 25cm x 1cm	$100.00

source of surgical bleeding

BA127	Composix Kugel Hernia Patch	Extra large oval - w/e PTFE	20cm X 25cm	$1,600.00

BA128	Composix Kugel Hernia Patch	Extra large oval - w/ePTFE	25cm X 33cm	$1,976.00

BA131	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a 	Extra Large Oval w/e PTFE 18cm x	$1,270.00

self-expanding, non-absorbable, sterile 	 23cm

prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an ePTFE

sheet; an extruded monofilament PET polymer

"ring" provides memory, adds stability to the

device.

BA132	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a 	7.5 cm (3") diameter	$415.00

self-expanding, non-absorbable, sterile

prosthesis.  It consists of two layers of

monofilament, polypropylene mesh; an

extruded monofilament PET polymer "ring"

provides memory, adds stability to the device.

The positioning strap facilitates placement,

positioning and suturing of the device.

BA133	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a 	10 cm (4") diameter	$475.00

self-expanding, non-absorbable, sterile

prosthesis.  It consists of two layers of

monofilament, polypropylene mesh; an

extruded monofilament PET polymer "ring"

provides memory, adds stability to the device.

The positioning strap facilitates placement,

positioning and suturing of the device.

Prostheses List by Category and Sponsor	Page 50 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA134	Bard Modified Kugel Hernia Patch	The Bard Modified Kugel Hernia Patch is a 	11.5 cm (4.5") diameter	$550.00

self-expanding, non-absorbable, sterile

prosthesis.  It consists of two layers of

monofilament, polypropylene mesh; an

extruded monofilament PET polymer "ring"

provides memory, adds stability to the device.

The positioning strap facilitates placement,

positioning and suturing of the device.

BA135	Bard Composix Kugel Hernia Patch	The Bard Composix Kugel Hernia Patch is a 	Oval w/e PTFE 16cm x 31.2cm	$1,560.00

self-expanding, non-absorbable, sterile

prosthesis. Two layers of monofilament,

polypropylene mesh are stitched to an ePTFE

sheet; an extruded monofilament PET polymer

"ring" provides memory, adds stability to the

device.

BA136	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, 	4.3 cm x 4.3 cm (1.7" x 1.7")	$365.00

non-absorbable, sterile prosthesis. Two layers

of monofilament, polypropylene mesh are

stitched to an ePTFE sheet; an extruded

monofilament PET polymer "ring" provides

memory, adds stability to the device. The

positioning strap facilitates placement,

positioning and suturing of the device.

BA137	Bard Ventralex Hernia Patch	The Bard Ventralex Patch is a self-expanding, 	6.4 cm x 6.4 cm (2.5" x  2.5")	$470.00

non-absorbable, sterile prosthesis. Two layers

of monofilament, polypropylene mesh are

stitched to an ePTFE sheet; an extruded

monofilament PET polymer "ring" provides

memory, adds stability to the device. The

positioning strap facilitates placement,

positioning and suturing of the device.

BA138	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile prosthesis 	Extra Large Left 5" x 7"	$300.00

constructed of monofilament polypropylene

mesh. 3DMax mesh is a three-dimensional,

anatomically formed prosthesis for use in

laparoscopic hernia repair.

Prostheses List by Category and Sponsor	Page 51 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA139	Bard 3DMax Mesh	The Bard 3DMax Mesh is a sterile prosthesis 	Extra Large Right 5" x 7"	$300.00

constructed of monofilament polypropylene

mesh. 3DMax mesh is a three-dimensional,

anatomically formed prosthesis for use in

laparoscopic hernia repair.

BA157	Bard Mesh	Flat Mesh	Medium - 6" x 6"	$220.00

BA158	Bard Mesh	Flat Mesh	Large - 10" x 14"	$300.00

BA160	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side	7cm x 6cm Small	$540.00

and ePTFE mesh on the other side

BA161	Bard Crurasoft Patch	Dual sided mesh with PTFE mesh on one side	11cm x 8cm Large	$707.00

and ePTFE mesh on the other side

BA162	Bard CK Parastomal Patch	Bard CK Parastomal Patch	12.5 x 15.5cm, 15.5 x 20.5cm	$1,055.00	$1,225.00

BA163	X Port isp	Intermediate-sized MRI port with open-ended 	Port: Base 22.6 x 28.2mm.  Height:	$640.00

pre-attached or attachable Hickman single 	 11.7mm.  Weight: 5.2g.  Catheter:

lumen catheter	9.6Fr

BA164	X Port isp	Intermediate-sized MRI port with open-ended 	Port: Base 22.6 x 28.2mm.  Height:	$640.00

pre-attached or attachable Chronoflex single 	 11.7mm.  Weight: 5.2g.  Catheter:

lumen catheter	6 & 8Fr

BA165	X Port duo	Intermediate-sized MRI port with open-ended 	Port: Base 38.5 x 28.5mm, Height: 	$715.00

attachable Hickman dual lumen catheter	12.6mm, Weight: 9.6g, Catheter:

10Fr

BA166	X Port duo	Intermediate-sized MRI port with open-ended 	Port: Base 38.5 x 28.5mm, Height 	$715.00

attachable Chronoflex dual lumen catheter	12.6mm, Weight: 9.6g, Catheter:

9.5Fr

BA179	Bard Ventralex Hernia Patch	Bard Ventrlex Hernia Patch, Large	8cm x 8cm	$552.00	$610.00

Baxter Healthcare Pty Ltd

BX214	TISSEEL Duo 500 Two Component Fibrin 	Active ingedients:Sealer Protein Solution & 	1.0 ml (containing 1.0 ml of Sealer 	$371.00	Temporary approval

Sealant Syringe	Thrombin Solution - deep-frozen, steam treated	Protein Solution and 1.0 ml of

Thrombin Solution)

BX215	TISSEEL Duo 500 Two Component Fibrin 	Active ingedients:Sealer Protein Solution & 	2.0 ml (containing 2.0 ml of Sealer 	$700.00	Temporary approval

Sealant Syringe	Thrombin Solution - deep-frozen, steam treated	Protein Solution and 2.0 ml of

Thrombin Solution)

BX216	TISSEEL Duo 500 Two Component Fibrin 	Active ingedients:Sealer Protein Solution & 	5.0 ml (containing 5.0 ml of Sealer 	$1,762.00	Temporary approval

Sealant Syringe	Thrombin Solution - deep-frozen, steam treated	Protein Solution and 5.0 ml of

Thrombin Solution)

Prostheses List by Category and Sponsor	Page 52 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BX245	Patient Control Module	Sterile infusor devices, spring or elastomer 	Module 0.5ml dose, Module 2 ml 	$30.00

driven	dose

BX246	Infusor	Sterile infusor devices, spring or elastomer 	SV Half day, 5ml/hr, 60ml vol. LV 	$80.00

driven	10, 10ml/hr, 240ml vol. SV Single

day, 2ml/hr, 48ml vol. LV 5,

5ml/hr, 240ml vol.

BX247	Intermate	Sterile infusor devices, spring or elastomeric 	SV 200 - 200ml/hr, 100ml vol. SV 	$60.00

driven	100 - 100ml/hr, 100ml vol. LV

250, 250ml/hr, 275ml vol. SV 50 -

50ml/hr, 100ml vol.  LV 100  -

100ml/hr, 275ml vol. LV 50,

50ml/hr, 275ml vol

BX248	Infusor	Sterile infusor devices, spring or elastomer 	LV 2, 2ml/hr, 275 ml vol; LV 1.5, 	$105.00

driven	1.5ml/hr, 275ml vol; SV Multi day,

0.5ml/hr. 60ml vol; SV Seven day,

0.5ml/hr, 96ml vol

BX249	Multirate with PCM	Sterile infusor devices, spring or elastomer 	Multirate 5, 7 or 12 ml/hr with 	$250.00

driven	PCM

BX250	Basal/Bolus and Multirate Infusors	Sterile infusor devices, spring or elastomer 	Basal/Bolus 60, Basal 0.5ml/hr, 	$125.00

driven	Bolus 0.5ml/hr x 65ml;

Basal/Bolus 15, Basal 0.5ml/hr,

Bolus 2ml/hr x 65ml; Basal/Bolus

infusor, Basal 2ml/hr, Bolus 2ml/hr

x 65ml; Multirate 5, 7 or 12 ml/hr x

300 ml; Multirate 2, 4, or 6 ml/hr

x 300 ml; Multirate 2, 3, or 5 ml/hr

x 300 ml; Multirate 1, 2 or 3 ml/hr

x 100 ml

BX252	CoSeal Surgical Sealant	Composition: two synthetic polyethelene 	2ml	$320.00	Temporary approval, pending review

glycols (PEG's), COH102 and COH206, 	of product group

premixed and filled into one syringe, a dilute

hydrogen chloride solution and a sodium

phosphate/sodium carbonate solution

BX253	CoSeal Surgical Sealant	Composition: two synthetic polyethelene 	4ml	$600.00	Temporary approval, pending review

glycols (PEG's), COH102 and COH206, 	of product group+

premixed and filled into a syringe, a dilute

hydrogen chloride solution and a sodium

phosphate sodium carbonate solution

Prostheses List by Category and Sponsor	Page 53 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BX254	CoSeal Surgical Sealant	Composition: two synthetic polyethelene 	8ml	$1,120.00	Temporary approval, pending review

glycols (PEG's), COH102 and COH206, 	of product group+

premixed and filled into a syringe, a dilute

hydrogen chloride solution and a sodium

phosphate sodium carbonate solution

Biomet Australia Pty Ltd

BI280	Septopal Chain Septopal Beads	PMMA, Stainless Steel	30 bead chain	$555.00

Boston Scientific Pty Ltd

BS046	Microvasive Ultraflex Oesophageal Stents 	Self expanding, nitinol metallic stent	Stent Outer Diameter - Distal 	$2,500.00

(covered and non-covered)	Release: 17mm to 22mm, 18mm to

23mm, 23mm to 28mm Proximal

Release: 17mm to 22mm, 18mm to

23mm, 23mm to 28mm

BS047	Ultraflex Tracheobronchial Stent	Self expanding, nitinol metallic stent, covered 	Diameter 8mm - 20mm, Length 	$3,000.00

and non-covered	20mm - 80mm

BS048	Covered Oesophageal Wallstent	Wallstent Esophageal II Endoprosthesis: 	(Lengths up to 11cm): 100mm, 	$3,000.00

Monofilament wire, self-expanding	Diameter: 20-28mm

BS049	Covered Oesophageal Wallstent	Flamingo Wallstent, Wallstent Esophageal II 	(Lengths over 11cm): Flamingo: 	$3,500.00

Endoprosthesis: Monofilament wire, self-	120mm x 16-24mm (Diameter),

expanding 	140mm x 20-30mm (diameter),

Wallstent Esophageal II

Endoprosthesis: 150mm x 20-28mm

(diameter)

BS050	Stent (Billiary Wallstent)	Wallstent (Non-covered): Monofilament wire, 	10mm x 56 to 62 mm, 10mm x 78 	$2,200.00

self-expanding	to 86 mm, 10mm x 101 to 111mm

BS051	Stent (Non-Vascular)	Wallstent (Non-covered): Monofilament wire, 	8mm x 40mm, 8mm x 60mm, 	$2,700.00

self-expanding	8mm x 80mm, 10mm x 42mm,

10mm x 68mm, 10mm x 80mm

BS052	Stent (Non-Vascular)	Wallstent (Covered): Monofilament wire, self-	10mm x 40mm, 10mm x 60mm, 	$2,750.00

expanding	10mm x 80mm

BS053	Wallstent Enteral Endoprosthesis 	Enteral Endoprosthesis Wallstent with 	18mm x 60mm, 18mm x 90mm, 	$2,600.00

Delivery System:Monofilament wire, self-	20mm x 60mm, 20mm x 90mm,

expanding	22mm x 60mm, 22mm x 90mm

BS054	Flexima Biliary Stent System	Flexima Polyurethane with Glidex Hydrophilic	Dia 7 FR - 11.5 FR, length 5 - 	$200.00

Coating, System includes Stent, Guide 	15cm

Catheter and Push Catheter

Prostheses List by Category and Sponsor	Page 54 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS055	Rapid Exchange Biliary Stent System	Flexima Polyurethane with Glidex Hydrophilic	Diameter 7 FR - 11.5 FR, length 5 -	$200.00

Coating, System includes Stent, Guide 	 15cm

Catheter and Push Catheter

BS075	Initial Enteral Feeding Kits (EndoVive): 	Composition: silicone.  Kits include Stoma 	Initial Enteral Feeding Kit: 18 to 24	$200.00

Gastrodome Initial Gastrostomy Kit; One-Step	devices, Gastrostomy/Jejunostomy tube and 	 Fr

Button Initial Placement Gastrostomy Kit; 	patient care devices

Thru-The-Peg J Tube

BS076	Replacement Enteral Feeding Devices 	Composition: silicone.	Replacement Enteral Feeding 	$180.00

(EndoVive): Button Low-Profile Replacement 	Devices: 12 to 28 Fr

Gastrostomy Tube, Mini Button

BS101	Polyflex Airway Stent	Poylester braided material encapsulated with 	Stent inner diameters up to 22mm, 	$2,040.00

silicone, self expanding stent	stent lengths up to 80mm

BS102	Polyflex Oesophageal Stent	Poylester braided material encapsulated with 	Stent inner diameters up to 22mm, 	$2,040.00

silicone, self expanding stent	stent lengths up to 80mm

BS103	Dynamic (Y) Stent	Bifurcated Tracheobronchial stent. Bronchial 	Stent inner diameters up to 15mm, 	$3,000.00

Limbs made of silicone and tracheal stem made	stent limb lengths up to 110mm

of silicone with embedded stainless steel c-

shape rings.

Design for Vision Pty Ltd

DV024	Haemorrhage Occluder Pin with applicator	Designed to control severe presacral bleeding 	Pin size 7mm.	$860.00

during pelvic surgery.	Application length 30cm. 2 units

per box

Device Technologies Australia Pty Ltd

DE259	AERO Tracheobronchial Stent System	Radiopaque self-expanding nitinol stent and 	Diameter 10-18mm, length 20-	$3,000.00

delivery system	80mm

Diabetes Association of Australia Pty Ltd

DB001	DANAII Insulin Pump	Continuous insulin infusion pump	75mm x 45mm x 19mm	$4,000.00

EMT Healthcare Pty Ltd

EM004	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	2.5 x 10cm; 8 x 13cm; 15 x 15cm	$49.00

laproscopic and open surgical approaches

EM005	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	5 x 10cm; 7 x 15cm, 10c x 15cm	$52.00

laproscopic and open surgical approaches

EM006	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	5cm x 30cm, 6cm x 30cm	$110.00

laproscopic and open surgical approaches

EM007	Biomesh P1/P3 Reinforcement Mesh	Macro porous 100% polypropylene mesh for 	25 x 36cm; 30 x 30cm	$112.00

laproscopic and open surgical approaches

Prostheses List by Category and Sponsor	Page 55 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EM008	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for	20 x 20cm	$801.00

intra-peritoneal visceral surgery

(Polypropylene/ePTFE or Polyester/Silicone)

EM009	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for	15 x 15cm	$555.00

intra-peritoneal visceral surgery

(Polypropylene/ePTFE or Polyester/Silicone)

EM010	Intramesh Reinforcement Mesh	Reinforcement mesh made from two surfaces for	30 x 30cm	$997.00

intra-peritoneal visceral surgery

(Polypropylene/ePTFE or Polyester/Silicone)

EM015	BIOMESH HERNIA REINFORCING MESH 	Laparoscopic Hernia Repair Kit with 15cm x 	EMT-KIT2BT2PMX2 (bilateral)	$475.00

KIT	15cm mesh

EM016	BIOMESH HERNIA REINFORCING MESH 	Laparoscopic Hernia Repair Kit with 15cm x 	EMT -KIT2NM (Unilateral)	$425.00

KIT	15cm mesh

EM018	Abdominal Wall Reinforcement Implant	Polyester combined with polymerised silicone	12cm x 14cm & 12cm x 16cm	$200.00

EM019	BIOMESH HERNIA REINFORCING MESH 	Laparoscopic Hernia Repair Kit with Shape 	EMT-KIT2BT2PMX (Bilateral)	$780.00

KIT	Mesh

EM020	BIOMESH HERNIA REINFORCING MESH 	Laparoscopic Hernia Repair Kit with  Shape 	EMT-KIT2NM (Unilateral)	$592.00

KIT	Mesh

Endocorp Pty Ltd

EC002	Denver Pleuro-Peritoneal Shunt	Ascites - Single Valved High Flow Rate (36-	Pump length 7.5 cm  Pump Height 	$1,190.00	$1,642.00

48ml/min)	1.0 cm Pump Width 1.7 cm (not

including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside

diameter 0.51 cm

EC003	Denver Pleuro-Peritoneal Shunt	Ascites - Single Valved Extra High Flow Rate 	Pump length 7.5 cm  Pump Height 	$1,642.00

(48ml/min)	1.0 cm  Pump Width 1.7 cm (not

including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside

diameter 0.51 cm

EC004	Denver Pleuro-Peritoneal Shunt	Ascites - Double Valved Standard Flow Rate 	Pump length 7.5 cm  Pump Height 	$1,642.00

(25-40ml/min)	1.0 cm  Pump Width 1.7 cm (not

including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside

diameter 0.51 cm

Prostheses List by Category and Sponsor	Page 56 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EC005	Denver Pleuro-Peritoneal Shunt	Double Valved Shunt PAK.  Flow Rate (20-	Pump length 7.5 cm  Pump Height 	$2,038.00

35ml/min)	1.0 cm  Pump Width 1.7 cm (not

including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside

diameter 0.51 cm

EC007	Denver Peritoneo-Venous Shunt	Pleural Effusion Shunt PAK	Pump length 7.5 cm  Pump Height 	$1,624.00	$1,642.00

1.0 cm  Pump Width 1.7 cm (not

including suture pad)  Tubing Size:

inside diameter 0.27 cm  Outside

diameter 0.51 cm

Endotherapeutics Pty Ltd

ET001	Ferx Ella Esophageal Stent	Kit includes esophageal stent, introducer, 	Diam 20mm, Length 80 - 160mm	$3,500.00

balloon catheter

ET018	Optimed Biliary Sinus Stent	Nickel Titanium Alloy	4-12 x 30-100mm	$2,500.00

ET019	Sinus-Flex Vascular-Biliary Stent	Nickel Titanium Alloy	4-12 x 40-80mm	$1,888.00	$2,000.00

ET020	Sinus-Endoflex-Biliary Sinus Stent	Nickel Titanium Alloy	40 x 7,8,9,10 mm; 60 x 7,8,9,10 	$2,500.00

mm; 80 x 7,8,9,10 mm

ET041	PTP Implants	PTP Implants are solid, irregularly textured 	One size only	$9,200.00

medical grade Polydimethyisiloxane Elastomer

implants suspended in a hydrogel carrier

ET042	Soft Gastric Banding System	Sterile long term implant for the treatment of 	One size only	$3,264.00

obesity.  Supplied in kit format with catheter,

port and huber needles

ET046	Parietene	Monofilament Polypropylene Surgical Mesh	6cm x 11cm to 30cm x 30cm Single	$265.00

ET047	Parietex	Multifibre Polyester Surgical Mesh	7cm x 1.5cm to 20cm x 20cm Single	$240.00

ET048	Parietene	Monofilament Polypropylene Surgical Mesh - 	6cm x 11cm to 30cm x 32cm (3D) 	$380.00

three dimensional & X-shape	Single

ET049	Parietex	Multifibre Polyester Surgical Mesh	12cm x 8cm to 30cm x 32cm (3D) 	$350.00

Single

ET051	Surgiwrap	Bio Absorbable Antiadhesion Barrier	All sizes with and without suture 	$495.00	Temporary approval - funded when

holes	clinical indications are present.

ev3 Australia Pty Ltd

EE001	Protégé GPS Self-Expanding Nitinol Stent 	Nitinol self-expanding stent, disposable 	20 - 150mm length, 6 - 12mm 	$1,365.00

with Starport Delivery System	delivery catheter	diameter

Prostheses List by Category and Sponsor	Page 57 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EE002	Primus Balloon Expandable Biliary Stent and 	Stainless steel stent premounted on a balloon 	Stent Diameter - 5, 6, 7, 8mm; 	$1,525.00

Delivery System	catheter.	Stent Length - 12, 17, 27, 37mm

EE003	Paramount Balloon Expandable Biliary Stent 	Stainless steel with radiopaque tantalum 	Paramount Mini - Diameters 5, 6, 	$1,525.00

and Delivery System	spheres.  Dual lumen tubing. Proximal end 	7mm  Length 14, 18, 21mm;

incorporates a luer lock hub to provide access 	Paramount XS - Diameter 5, 6, 7,

for guidewire insertion and a second luer lock 	8mm Length 12, 17mm: Paramount

for attachment of an inflation device for balloon	 - Diameter 3.8, 5, 6, 7, 8mm

inflation	Length 16, 26, 36, 56, 76mm

Femcare Australia Pty Ltd

FE003	Filshie Clips - Sterishot	With Disposable Applicator	One Size	$155.00	$440.00	Temporary approval, pending review

of product group

Genzyme Australasia Pty Ltd

GE001	CV Seprafilm Cardiovascular Adhesion 	Sodium hyaluronate carbomethylcellulose 	One size only; 6 x 6 inch.	$294.02	Temporary Approval - Funded when

Barrier; Seprafilm II.	membrane; Carbomethycellulose.	clinical indications for use are present.

GE002	SepraMesh Biosurgical Composite	SMBC-360	3 x 6 inch	$377.00

GE003	SepraMesh Biosurgical Composite	SMBC-480	4 x 8 inch	$672.00

GE004	SepraMesh Biosurgical Composite	SMBC-680	6 x 8 inch	$1,001.00

GE005	SepraMesh Biosurgical Composite	SMBC-812	8 x 12 inch	$2,003.00

GE006	Seprafilm Adhesion Barrier	Sodium hyaluronate carbomethylcellulose 	13cm  x 15cm	$339.00

membrane

GE007	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid polymer 	3 x 6 inch	$377.00

Coating/Permanent Mesh	mesh coated with a biopolymer: a

bioresorbable coating of modified sodium

hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

GE008	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid polymer 	4 x 8 inch	$690.00

Coating/Permanent Mesh	mesh coated with a biopolymer: a

bioresorbable coating of modified sodium

hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

GE009	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid polymer 	6 x 8 inch	$1,055.00

Coating/Permanent Mesh	mesh coated with a biopolymer: a

bioresorbable coating of modified sodium

hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

Prostheses List by Category and Sponsor	Page 58 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GE010	SEPRAMesh IP Bioresorbable 	Polypropylene & polyglycolic acid polymer 	8 x 12 inch	$1,947.00

Coating/Permanent Mesh	mesh coated with a biopolymer: a

bioresorbable coating of modified sodium

hyaluronate, carboxymethylcellulose &

polyethylene glycol based hydrogel.

Global Manufacturing Technology Pty Limited

GM040	Alpha Infusion Pump	Alpha Infusion Pump Kit, includes Alpha 	450ml	$300.00	Temporary Approval, pending review

Infusion Pump, introducer needle, syringe, hip 	 of product group

pack, labels and instructions for use plus Alpha

Cath Infusion Catheter

Global Medical Solutions Australia Pty Ltd

GL001	Advantage I-125 Seed	Advantage I-125 per patient up to 120 seeds	3mm x 0.5mm silver rod within 4.5	$6,500.00

x 0.8mm sealed titanium capsule

GL002	Advantage I-125 Seed	Advantage I-125 per seed	3mm x 0.5mm silver rod within 4.5	$55.00

x 0.8mm sealed titanium capsulre

Gyrus Australasia Pty Ltd

GY082	SprayGel Air Assisted Sprayer	SK-A-6001 SprayGel Sprayer Kit; AK-A-4210	One size only;  AK-A-4210 - 5 	$135.00	Temporary approval - funded when

SprayGel Open Surgery Applicator	Applicators/Box	clinical indications for use are present.

GY083	SprayGel Adhesion Barrier Polymer Kit	PK-A-6010 SprayGel Polymer Kit; PK-A-	One size only; PK-A-4210 - 5 	$300.00	Temporary approval - funded when

4210 SprayGel Open Surgery Polymer Kit 	Kits/Box	clinical indications for use are present.

(10ml)

Inamed Australia Pty Ltd

IN001	Lap-Band Adjustable Gastric Banding (LAGB)	-	9.75, 10 and 11cm	$3,264.00

System

IN002	Lap-Band Access Port	For use with the Lap-Band Adjustable Gastric 	Standard, low profile	$618.00	$660.00

Banding System

IN003	Rapid Port Tack	Implantable acetal copolymer disk assembly, 	Outside diameter for the tack 	$170.00

rotor assembly with three stainless steel 	30.5mm diameter by 5.6mm

fasteners.  The fasteners, when deployed by 	Height.  The wires extend 3mm

rotating the rotor, extend about 3mm below 	below the bottom surface.

the undersurface of the Tack

Incision Pty Ltd

IP007	Durasphere FL	Composition: Pyrolitically carbon coated silica	Syringe 1ml	$520.00

bead in an aqueous gel. Injectable bulking

agent for the treatment of Faecal Incontinence.

Syringe plus needle.

Prostheses List by Category and Sponsor	Page 59 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

IP008	Durasphere FL	Composition: Pyrolitically carbon coated silica	Syringe 3ml	$1,560.00

bead in an aqueous gel. Injectable bulking

agent for the treatment of Faecal Incontinence.

Syringe plus needle.

IP010	Cousin Bioring Gastric Band	Laparoscopically adjustable gastric band. 	27mm diameter	$3,200.00

Silicone. Pre-shaped.

Jecoli Pty Ltd

JO006	Herniamesh Polypropylene Mesh	Hertra Polypropylene Mesh 	4.5cm x 10cm	$178.00

JO008	Hertra Oval & Round Patch	Pre-Shrunk Polypropylene Mesh for Inguinal, 	Ovals in 8cm x 12cm, 11cm x 	$410.00

Laproscopic & Open Hernia Repairs	14cm, 14cm x 18cm, & 10cm round

Johnson & Johnson Medical Pty Ltd

JJ003	Spongostan Absorbable Haemostat	Standard (Box of 20)	70 x 50 x 10mm	$10.00

JJ004	Spongostan Absorbable Haemostat	Film (Box of 20)	200 x 70 x 0.5mm	$20.87

JJ005	Spongostan Absorbable Haemostat	Special (Box of 20)	70 x 50 x 1mm	$9.00

JJ006	Spongostan Absorbable Haemostat	Anal 20s (Box of 20)	80 x 30mm	$17.00

JJ007	Spongostan Absorbable Haemostat	Anal 5s (Box of 5)	80 x 30mm	$23.00

JJ008	Surgicel Nu-Knit Absorbable Haemostat	Large (Box of 24)	7.5 x 10cm	$33.00

JJ009	Surgicel Fibrillar Absorbable Haemostat	Small (Box of 24)	2.5 x 5.1cm	$33.00

JJ010	Interceed Absorbable Adhesion Barrier	Oxidized Regenerated Cellulose	7.6cm x 10.2cm	$168.00	Temporary Approval - Funded when

clinical indications for use are present.

JJ012	Surgicel Absorbable Haemostat	Large (Box of 24)	5 x 35cm or 10 x 20cm	$30.00

JJ013	Surgicel Absorbable Haemostat	Medium (Box of 24)	5 x 7.5cm	$18.00

JJ014	Surgicel Absorbable Haemostat	Small (Box of 24)	1.2 x 5cm	$10.00

JJ015	Spongostan Absorbable Haemostat	Dental (Box of 24)	10 x 10 x 10mm	$3.00

JJ019	Vypro Mesh	Vicryl/Prolene Composite Mesh	Medium - 15cm x 15cm	$112.00

JJ020	Vicryl Mesh	1 sheet/box	Large - 30cm x 30cm	$242.00

JJ023	Surgicel Nu-Knit Absorbable Haemostat	Small (Box of 24)	2.5 x 2.5cm	$17.35

JJ029	Surgicel Fibrillar Absorbable Haemostat	Large (Box of 24)	10.2 x 10.2cm	$96.00

JJ030	Surgicel Fibrillar Absorbable Haemostat	Medium (Box of 24)	5.1 x 10.2cm	$64.00

JJ172	Mersilene Mesh	Non-absorbable polyester mesh	30cm x 30cm	$76.00

Prostheses List by Category and Sponsor	Page 60 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ173	VICRYL Mesh	Polyglactin 910 - synthetic absorbable mesh.	15cm x 15cm	$84.00

JJ174	Prolene Mesh 	Small polypropylene monofilament non 	2.5cm x 10cm	$55.00

absorbable mesh

JJ175	Prolene Mesh	Medium polypropylene monofilament non 	7.6cm x 15cm	$59.56

absorbable mesh

JJ176	Prolene Mesh	Large polypropylene monofilament non 	30cm x 30cm	$220.00

absorbable mesh

JJ177	Prolene Mesh	Small keyhole polypropylene monofilament 	4.6cm x 10.2cm	$133.00

non absorbable mesh

JJ178	Prolene Mesh	Large keyhole polypropylene monofilament 	6cm  x 13.7cm	$95.00

non absorbable mesh

JJ179	VYPRO Mesh	Vicryl (polyglactin 910) / Prolene 	30cm x 30cm	$230.00

(polypropylene) composite mesh

JJ180	Prolene Hernia System	Bilayer polypropylene non absorbable 	Onlay 4.5-5.5cm x 10cm; Connector	$193.00

synthetic mesh with connector	 1.91 x 1.27cm; Underlay 7.5-10cm

diameter

JJ222	Prolene Mesh - medium	Constructed of knitted filaments of extruded 	Medium - 6" x 6"	$97.00

polypropylene identical to that used in Prolene

suture.  Material is approx. 0.027mm thick.

Non-absorbable mesh for tension free-inguinal

hernia techniques.

JJ240	VYPRO II Mesh	Composition - equal part Vicryl polyglactin 	Small 6 x 11cm	$73.67

yarn - non-absorbable Prolene polypropylene

yarn.  Partly absorbable lightweight mesh for

tension free-inguinal hernia techniques

JJ241	VYPRO II Mesh	Composition - equal part Vicryl polyglactin 	Medium 12 x 10cm	$94.00

yarn - non-absorbable Prolene polypropylene

yarn.  Partly absorbable lightweight mesh for

tension free-inguinal hernia techniques

JJ242	VYPRO II Mesh	Composition - equal part Vicryl polyglactin 	Large 15 x 10cm	$112.00

yarn - non-absorbable Prolene polypropylene

yarn.  Partly absorbable lightweight mesh for

tension free-inguinal hernia techniques

JJ243	VYPRO II Mesh	Composition - equal part Vicryl polyglactin 	Extra large 15 x 15cm	$126.00

yarn - non-absorbable Prolene polypropylene

yarn.  Partly absorbable lightweight mesh for

tension free-inguinal hernia techniques

Prostheses List by Category and Sponsor	Page 61 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ412	Swedish Adjustable Gastric Band	Silicone	One size only	$3,264.00

JJ413	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of 	5.49cm x 12.50cm 3DPatch large 	$260.00

a flat mesh onlay patch secured to a formed 	with preshaped overlay

expandable diamond-shaped mesh patch

component.

JJ414	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of 	5.49cm x 12.50cm 3D Patch with 	$260.00

a flat mesh onlay patch secured to a formed 	medium preshaped overlay

expandable diamond-shaped mesh patch

component.

JJ415	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of 	5.49cm x 12.50cm 3D Patch 	$250.00

a flat mesh onlay patch secured to a formed 	medium with extended overlay

expandable diamond-shaped mesh patch

component.

JJ416	Prolene *3D Patch Polypropylene Mesh	Sterile Three-dimensional device consisting of 	5.49cm x 12.50cm 3D Patch large 	$250.00

a flat mesh onlay patch secured to a formed 	with extended overlay

expandable diamond-shaped mesh patch

component.

JJ432	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, 	1in x 3.5in (2.5cm x 8.75cm)	$28.40

the material is biocompatible and also

bactericidal. Box of 10.

JJ433	SURGICEL Nu knit Absorbable Haemostat	High density , oxidised regenerated cellulose, 	6in x 9in (15cm x 22.5cm)	$101.00

the material is biocompatible and also

bactericidal. Box of 10.

JJ434	GYNECARE GYNEMESH* PS	Gynecare Gynemesh* PS is a non-absorbable 	10cm x 15cm	$390.00

Prolene soft mesh indicated for tissue

reinforcement and long lasting stabilisation of

fascial structures of the pelvic floor in vaginal

wall prolapse. Gynemesh PS* is constructed of

knitted filaments of extruded polypropylene

identical in composition to Prolene*

polypropylene suture. It is packaged sterile,

one 10 x 15cm piece per box.

JJ444	Swedish Adjustable Gastric Band - Injection 	Titanium implantable infusion port & locking 	One size only	$618.00

Port & Locking Connector	connector for the Swedish Adjustable Gastric

Band.  Replacement port & locking connector

to the one included with the Swedish

Adjustable Gastric Band

JJ446	PROCEED Surgical Mesh	PROCEED Surgical Mesh B1	2x4 (inches)	$247.00

Prostheses List by Category and Sponsor	Page 62 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ447	PROCEED Surgical Mesh	PROCEED Surgical Mesh R1	3x6 inches	$309.00

JJ448	PROCEED Surgical Mesh	PROCEED Surgical Mesh N1	4x6 inches oval	$490.00

JJ449	PROCEED Surgical Mesh	PROCEED Surgical Mesh D1	4x8 inches	$505.00

JJ450	PROCEED Surgical Mesh	PROCEED Surgical Mesh M1	6x6 inches	$715.00

JJ451	PROCEED Surgical Mesh	PROCEED Surgical Mesh G1	6x8 inches oval	$935.00

JJ452	PROCEED Surgical Mesh	PROCEED Surgical Mesh H1	8x10 inches oval	$1,575.00

JJ453	PROCEED Surgical Mesh	PROCEED Surgical Mesh J1	8x12 inches	$1,750.00

JJ454	PROCEED Surgical Mesh	PROCEED Surgical Mesh T1	10x13 inches oval	$2,300.00

JJ455	PROCEED Surgical Mesh	PROCEED Surgical Mesh W1	10x14 inches	$2,165.00

JJ456	PROCEED Surgical Mesh	PROCEED Surgical Mesh L1	12x12 inches	$2,184.00

JJ459	GYNECARE GYNEMESH* PS	Gynecare Gynemesh* PS is a non-absorbable 	25cm x 25cm	$1,050.00

Prolene soft mesh indicated for tissue

reinforcement and long lasting stabilisation of

fascial structures of the pelvic floor in vaginal

wall prolapse. Gynemesh PS* is constructed of

knitted filaments of extruded polypropylene

identical in composition to Prolene*

polypropylene suture. It is packaged sterile,

one 25 x 25cm piece per box.

JJ465	ULTRAPRO Mesh	ULTRAPRO Mesh S3	6 x 11cm	$84.66

JJ466	ULTRAPRO Mesh	ULTRAPRO Mesh P3	10 x 12cm	$109.00

JJ467	ULTRAPRO Mesh	ULTRAPRO Mesh N3	10 x 15cm	$136.59

JJ468	ULTRAPRO Mesh	ULTRAPRO Mesh M3	15 x 15cm	$149.00

JJ469	ULTRAPRO Mesh	ULTRAPRO Mesh T1	15x30cm	$192.00

JJ470	ULTRAPRO Mesh	ULTRAPRO Mesh L1	30x30cm	$269.58

JJ477	Gynecare Prolift Pelvic Floor Repair System	Pre-cut gynemesh PS and single use 	PFRA01	$1,333.00

instruments for mesh placement

JJ565	ULTRAPRO Mesh	Composite Mesh	7.6cm x 15cm	$99.00

JJ566	PROLENE Mesh	Polypropylene Mesh	10 x 15cm	$75.00

JJ576	Ethicon Omnex Surgical Sealant	Omnex Surgical Sealant	0.5 ml	$275.00

JJ585	Ultrapro Hernia System	Ultrapro Hernia System. Mesh Made From 	Small to Large Oval	$230.00

Composite of Monocryl & Prolene

Prostheses List by Category and Sponsor	Page 63 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Kendall Australasia Pty Ltd T/A Tyco Healthcare Pty Ltd

KA001	Tenckhoff Peritoneal Dialysis Catheter	Adult 2 cuff, Adult 1 cuff, Adult 0 Cuff	42cm to 47cm length. All Peritoneal	$162.64

Catheters excluding the Swan Neck

Fast Flow Catheter, have an internal

diameter of 2.67mm and an external

diameter of 4.95 mm.

KA002	Tenckhoff Peritoneal Dialysis Catheter	Paediatric 2 cuff, Paediatric 1 cuff, Neonatal 1 	31cm to 37 cm length. All 	$178.22

cuff	Peritoneal Catheters excluding the

Swan Neck Fast Flow Catheter,

have an internal diameter of 2.67mm

and an external diameter of 4.95

mm.

KA003	Fast Flow Peritoneal Dialysis Catheter 	Swan Neck, 2 cuff	Int.diam: 3.2mm; ext diam 	$246.44

5.49mm.All Peritoneal Catheters

excluding the Swan Neck Fast Flow

Catheter, have an internal diameter

of 2.67mm and an external diameter

of 4.95 mm.

KA004	Swan Neck Curl Peritoneal Dialysis Catheter	Adult 2 cuff, left	62 cm length. All Peritoneal 	$294.99

Catheters excluding the Swan Neck

Fast Flow Catheter, have an internal

diameter of 2.67mm and an external

diameter of 4.95 mm.

KA005	Swan Neck or Swan neck Tenckhoff Peritoneal 	Adult-left, Adult-right, Adult, 2 cuff-left, 	20 to 25cm external segment or 	$213.90

Dialysis Catheter	Adult, 2 cuff-right	43cm length. All Peritoneal

Catheters excluding the Swan Neck

Fast Flow Catheter, have an internal

diameter of 2.67mm and an external

diameter of 4.95 mm.

KA006	Tenckhoff Peritoneal Dialysis Catheter, Curl	Adult, 2 cuffs	57 to 62cm length. All Peritoneal 	$199.36

Catheters excluding the Swan Neck

Fast Flow Catheter, have an internal

diameter of 2.67mm and an external

diameter of 4.95 mm.

Prostheses List by Category and Sponsor	Page 64 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

KA015	Entristar Skin Level Gastrostomy Kits	Skin level non-balloon internal retention 	16fg x 1.5cm, 16fg x 1.7cm, 16fg x 	$226.60	Temporary approval, pending review

bolster gastrostomy kit, including Entristar 	2.0cm, 16fg x 2.7cm, 16fg x 3.0cm,	of product group

gastrostomy tube, accessory bolus and 	 16fg x 3.5cm, 20fg x 1.5cm, 20fg x

continuous feeding tubes, syringes for inflation 	 2.ocm, 20fg x 2.5cm, 20fg x

and flushin. Patient handbook	3.0cm, 20fg x 3.5cm, 20fg x 4.0cm,

20fg x 4.5cm

KA016	Kangaroo Gastrostomy Feeding Tubes	100% silicone gastrostomy with internal 	12fg, 14fg, 16fg, 18fg, 20fg, 22fg, 	$84.46

retention balloon	24fg

KA017	NutriPort Balloon Skin Level Gastrostomy Kit	Skin level silicone balloon gastrostomy kit, 	12fg x 0.8 - 5.0cm, 14fg x 0.8 - 	$195.70	Temporary approval, pending review

including NutriPort gastronomy tube, 	5.0cm, 16fg x 0.8 - 5.0cm	of product group

accessory bolus and continuous feeding tubes,

syringes for inflation and flushing, Patient

handbook

Kimberly-Clark Australia Pty Ltd

KI001	Kimberly-Clark Aust Pty Ltd Enteral Feeding 	68914 MIC Gastrostomy Tubes Model 100 	MIC* Percutaneous Endoscopic 	$200.00

Kit	Series	Gastrostomy (P.E.G) Feeding

Tubes/Kits 14, 20, 24 French #0630

Series PUSH (OTW) Method &

#0640Series PULL Method

KI002	Kimberly-Clark Aust Pty Ltd Enteral feeding 	68914 MIC Gastrostomy Tubes Model 100 	MIC* Percutaneous Endoscopic 	$161.00

kit, Mic* Percutaneous Endoscopic 	Series	Gastrostomy (P.E. G) Feeding

Gastrostomy (P.E.G) Feeding Tubes/Kits	BASIC Tubes/Kits 14, 20, 24

French#0644 Series PULL Method

KI003	Kimberly-Clark Aust Pty Ltd Enteral feeding 	68914 MIC Gastrostomy Tubes Model 100 	Feeding Adaptors (Universal or 	$26.00

kit, Mic* Percutaneous Endoscopic 	Series	Bolus) for use with 14, 20 &24 F

Gastrostomy (P.E.G) Feeding Tubes/Kits	MIC* PEG's#0135 &#0136 Series

KI004	Kimberly-Clark Aust Pty Ltd Enteral feeding 	68914 MIC Gastrostomy Tubes Model 100 	MIC-KEY* Low Profile 	$200.00

kit, MIC-KEY Low Profile Gastrostomy 	Series	Gastrostomy Feeding Tubes/Kits 14

Feeding Tubes/Kits	 - 24 French, 0.8 cm - 4.5 cm

KI005	Kimberly-Clark Aust Pty Ltd Enteral feeding 	68914 MIC Gastrostomy Tubes Model 100 	SECUR-LOK* Extension Sets & 	$120.00

kit, MIC-KEY Low Profile Gastrostomy 	Series	Bolus Feeding Sets 30.5 cm & 60.9

Feeding Tubes/Kits	 cm

Prostheses List by Category and Sponsor	Page 65 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

KI006	Kimberly-Clark MIC* Transgastric-Jejunal 	Medical Grade Silicone Construction, Silicone	16-22 French - 45cm jejunal length -	$520.00	$720.00

Feeding Tubes (Surgical Placement Kits)	 Internal Retention Balloon, SECUR-LOK* 	 7-10ml balloon

External Retention ring, Universal Jejunal

Feeding Port Connector, Gastric

Decompression Port, Multiple Gastric &

Jejunal Exit Ports, Tungsten Weighted Jejunal

Portion, Tapered Distal Tip, Radiopaque

Stripe, Sterile

KI007	MIC* Gastrostomy Feeding Tube; MIC* 	Medical Grade Silicone Construction. Silicone	12fr - 3-5ml balloon, 14fr - 3-5ml 	$110.00

Bolus Gastrostomy Tube	 Internal Inflatable Retention Balloon, SECU-	balloon, 16fr - 3-5ml balloon, 18fr -

LOK* External Retention Ring, Universal 	7-10ml balloon, 20fr - 7-10ml

Feeding Port Connector, Medication Port, 	balloon, 22fr - 7-10ml balloon, 24fr

Dual Exit Ports, Tapered Distal Tip, 	- 7-10ml balloon, 26fr - 7-10ml

Radiopaque Strip, Sterile.	balloon, 28fr - 7-10ml balloon, 30fr

- 7-10ml balloon,

KI008	MIC-KEY Low Profile Transgastric-Jejunal 	100% medical grade silicone tube. 40/60 	16, 18 and 22Fr, 1.0 to 3.5cm 	$520.00

Feeding Tube	tungsten weighted jejunal post pyloric feeding 	stomal length, 15 to 45cm jejunal

tube. Gastric drainage ports, jejunal feeding 	length

ports

KI009	MIC Transgastric-Jejunal Feeding Tube	100% medical grade silicone tube. 40/60 	16, 18, 22Fr, 15 to 45cm jejunal 	$485.00

tungsten weighted jejunal post pyloric feeding 	length, 7-10ml balloon volume

tube. Gastric drainage ports, jejunal feeding

ports

LMT Surgical Pty Ltd

LM017	Neurotube	Bioabsorbable nerve conduit made of 	2.3mm - 8mm	$1,430.00

polyglycolic acid

LM042	Synovis Microclip	Malleable titanium clip	One size only	$25.00	Temporary approval, pending review

of product group

Medical Specialties  Australia Pty Ltd

MS008	Catheterisation kits(Horizon Medical)	Central Venous Catheter - Apheresis Bone 	12.5F	$640.00

Marrow Transplantation Catheter, silicone

MS019	Infusa T, Infusa TS or Infusa DSLT	Powered Drug Infusion System, Battery 	Small, Medium, Large	$2,400.00

operated, Syringe type

MS021	Medical Specialties "Walkmed Infusion Pump 	Ambulatory Infusion Pump System, 	Walkmed Infusion Pump System	$5,445.00

System" Powered Drug Infusion System and 	Administration Sets and Accessories

Ancillary Equipment (McKinley, USA)

Prostheses List by Category and Sponsor	Page 66 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MS022	Medical Specialties "Walkmed Drug 	Ambulatory Infusion Pump System, 	Walkmed Drug Administration 	$5.00

Administration Reservoir" (McKinley, USA)	Administration Sets and Accessories	Reservoirs

MS023	Medical Specialties "Walkmed Drug 	Ambulatory Infusion Pump System, 	Walkmed Drug Administration Sets	$61.00

Administration Sets"  (McKinley, USA)	Administration Sets and Accessories

MS030	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	10 x15 cm TiMESH light	$195.00

polypropylene threads with an encapsulating

titanic coating

MS031	Medical Specialties "Deltec Cozmo Insulin 	Ambulatory Insulin Infusion Pump	Deltec Cozmo Insulin Pump - each	$7,950.00

Pump"

MS032	TiMESH extralight	Prosthetic warp-knitted fabric made of monfil 	10 x 15cm TiMESH extralight	$239.00

polypropylene threads with an encapsulating

titanic coating

MS033	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	15 x 15cm TiMESH light	$221.00

polypropylene threads with an encapsulating

titanic coating

MS034	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	15 x15cm TiMESH extralight	$249.00

polypropylene threads with an encapsulating

titanic coating

MS035	TiMESH light	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH light	$272.00

polypropylene threads with an encapsulating

titanic coating

MS036	TiMESH extralight	Prosthetic warp-knitted fabric made of monofil 	20 x 15cm TiMESH extralight	$288.00

polypropylene threads with an encapsulating

titanic coating

MS037	TiMESH Extra Large	Prosthetic warp-knitted fabric made of monofil 	30 x 30cm TiMESH	$1,560.00

polypropylene threads with an encapsulating

titanic coating

MS038	TiMESH Extra Large	Prosthetic warp-knitted fabric made of monofil 	Extra Large TiMESH	$1,560.00

polypropylene threads with an encapsulating

titanic coating

MS039	Medical Specialties "Deltec Cozmo Ancillary 	Drug Infusion Reservoir	3ml Cartridges - Box 25	$7.80

Equipment"

MS040	Medical Specialties/Unomedical "Deltec 	Drug Infusion Set	Box 10	$7.70

Cozmo Ancillary Equipment"

Prostheses List by Category and Sponsor	Page 67 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MS041	TiCOVER	Titanized polypropylene composite. Prosthetic	TiCOVER light	$138.00

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating

titanic coating.

MS042	TiCOVER	Titanized polypropylene composite. Prosthetic	TiCOVER strong	$195.00

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating

titanic coating.

MS043	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic	TiPLUG	$400.00

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating

titanic coating.

MS044	TiPLUG/TiPATCH System	Titanized polypropylene composite. Prosthetic	TiPATCH	$124.00

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating

titanic coating.

MS049	TiGUARD	Titanized polypropylene composite. Prosthetic	TiGUARD strong 20 x 15cm	$173.00

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating

titanic coating.

MS050	TiGUARD	Titanized polypropylene composite. Prosthetic	TiGUARD strong 30 x 30cm	$52.00

warp-knitted fabric made of monofilament

polypropylene threads with an encapsulating

titanic coating.

Medical Vision Australia Pty Ltd

MF003	Steritalc	Sterile granules of talc implanted in pleural 	3 grams & 4 grams	$60.00

space to act as permanent adhesive

Medtronic Australasia Pty Ltd

MC058	Medtronic SynchroMed Catheter Model 8709 	Radiopaque Silicone	89cm	$820.00

Prostheses List by Category and Sponsor	Page 68 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC064	Implantable Drug Pump Accessories	8590-8, 8590-9 - Synchromed catheter 	20cm; one size only;  38-60cm	$163.00

accessory kit -  Radiopaque silicone,

8590RAC - Right angled connector -

Titanium, polyurethane,  8591-38, 8691-60,

8590-41 Tunnelling rods - Stainless Steel,

8575 Synchromed connector (40 degree) with

catheter access port, 8577 Isomed connector

(90 degree) without catheter access port, Right

Angle Connectors - Models 8575 40 Deg,

Model 8577 90 Deg;

MC068	Medtronic SynchroMed vascular catheter	Model 8700, 8700A, 8710.  Radiopaque 	62 to 89cm	$830.00

silicone

MC070	Medtronic AlgoLIne Catheter System 	Model 81104.  Radiopaque silicone	85cm	$385.00

MC282	Medtronic MiniMed Insulin Infusion Pump 	Ambulatory Insulin Infusion Pump System 	One Size Only	$7.80

Reservoir	Administration Sets and Accessories; Insulin

Infusion Pump Reservoir MMT-103A  (for use

with pumps MMT - 507C & MMT - 508)

MC283	Medtronic MiniMed Paradigm Insulin Infusion	Model MMT-511- One Insulin Pump Only	One Size Only	$7,900.00

Pump System

MC284	Medtronic MiniMed Paradigm Insulin Infusion	Paradigm Insulin Infusion Pump Reservoir 	One Size Only	$5.50

Pump Reservoir	MMT-326A (for use with Model MMT-511

insulin infusion pump)

Prostheses List by Category and Sponsor	Page 69 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC285	Medtronic MiniMed Insulin Pump Infusion 	Ambulatory Insulin Infusion Pump System 	60-110cm	$17.50

Sets	Administration Sets and Accessories: Quick-

set MMT-390, MMT-391, MMT-392, MMT-

393; Sof-set Micro MMT-320, MMT-321;

Sof-set Ultimate MMT-315, MMT-316 (all

tubing with cannula for use with MMT-507C

and MMT-508 insulin infusion pump);

Silhouette MMT-371, MMT-372, MMT-373,

MMT-374 (Full Set of 10 complete sets: 10

sites + 10 tubing, OR Combo Set: 10 sites +

5 tubing for use with MMT-507C or MMT-

508 insulin infusion pump); Serters MMT-

395, MMT-300, MMT-385 (For use with

MMT-511 or MMT-507C or MMT-508

insulin infusion pump); Polyfin MMT-106,

MMT-306, MMT-307, Polyfin QR MMT-

165, MMT-365, MMT-366 (bent needles with

wings for use with MMT-507C and MMT-

508 insulin infusion pump)

MC286	Medtronic MiniMed Paradigm Insulin Pump 	Ambulatory Insulin Infusion Pump System 	60-110cm	$18.00

Infusion Sets	Adminstration Sets and accessories: Quick-set

MMT-396, MMT-398, MMT-397, MMT-

399; Sof-set Micro MMT-324, MMT-325;

Sof-set Ultimate MMT-317, MMT-318 (all

tubing with cannula for use with MMT-511

insulin infusion pump), Silhouette MMT-377,

MMT-379, MMT-378, MMT-380 (Full Set

of 10 complete sets: 10 sites + 10 tubing, OR

Combo Set: 10 sites + 5 tubing for use with

MMT-511 insulin infusion pump)

MC300	Medtronic MiniMed Insulin Infusion Pump 	Model MMT - 508	One Size Only	$7,000.00

System

MC302	Medtronic Minimed Insulin Infusion pump 	Paradigm Model MMT - 512. Polycarbonate	One Size Only	$7,950.00

System

MC303	Medtronic Minimed Insulin Infusion Pump 	Paradigm Model MMT - 712 Polycarbonate	One Size Only	$7,950.00

System

MC304	Medtronic Minimed Paradigm Insulin Infusion	Reservoir Model MMT - 332A (for use with 	3.0 ml reservoir	$5.50

Pump Reservoir	the Paradigm Model MMT - 712).

Polycarbonate

Prostheses List by Category and Sponsor	Page 70 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC316	Personal Therapy Manager Model 8832	One Size Only	$1,350.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

MC351	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT - 715	Pump Dimensions: 5.1 x 9.4 x 2.0cm	$7,950.00

MC352	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT - 515	Pump Dimensions: 5.1 x 7.6 x 2.0cm	$7,950.00

MC353	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT-722	Pump dimensions: 5.1 x 9.4 x 	$7,950.00

2.0cm

MC354	Medtronic MiniMed Insulin Infusion Pump	Paradigm Model MMT-522	Pump Dimensions: 5.1 x 7.6 x 2.0cm	$7,950.00

Morton Surgical Pty Ltd

MG002	Heliogast Adjustable Gastric Ring	Silicone and Titanium	HAGM (medium) Inner Diameter 	$3,264.00

27.5mm; HAGS (small) Inner

Diameter 25mm; HAGA (advanced)

Inner Diameter 27mm

MG019	Surgimesh WN / Surgimesh WN non-adherent	Surgimesh WN non-adherent 14x15cm	Tintra S 14x15cm	$985.00

N Stenning  & Co Pty  Ltd

NG006	Horizon Ligating Clips  	Ligation Clips Titanium 	Small (6 per cartridge)  	$10.00	Temporary Approval

NG007	Horizon Ligating Clips  	Ligation Clips Titanium 	Small  (24 per cartridge)	$39.55	Temporary Approval

NG008	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium (6 per cartridge), Micro (6 	$11.14	Temporary Approval

per cartridge)

NG009	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium  (24 per cartridge)	$41.02	Temporary Approval

NG010	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (6 per cartridge)	$11.00	$21.87	Temporary Approval

NG011	Horizon Ligating Clips  	Ligation Clips Titanium 	Medium/Large (24 per cartridge)	$40.00	$90.86	Temporary Approval

NG012	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (6 per cartridge)	$11.00	$22.85	Temporary Approval

NG013	Horizon Ligating Clips  	Ligation Clips Titanium 	Large (24 per cartridge)	$40.00	$93.50	Temporary Approval

NG014	Hemoclip 	Titanium Clips	Small, Medium (25 per cartridge); 	$25.00	$34.02	Temporary Approval

Large (15 per cartridge)

NG016	Hemoclip 	Titanium Clips	Medium  (10 per cartridge) 	$16.00	Temporary Approval

NG017	Hemoclip 	Titanium Clips	Small (10 per cartridge) 	$15.00	Temporary Approval

NG018	Hemoclip  	Titanium Clips	Med-large (10 per cartridge) 	$17.11	Temporary Approval

Prostheses List by Category and Sponsor	Page 71 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NG019	Hemoclip 	Titanium Clips	Large (10 per cartridge) 	$17.00	$22.71	Temporary Approval

NG020	EZLoad Ligating Clips  	Titanium Clip 	Small (25 per cartridge); Med-Large,	$24.75	$28.71	Temporary Approval

Large (10 per cartridge)

NG021	EZLoad Ligating Clips  	Titanium Clip 	Medium (25 per cartridge) 	$34.02	Temporary Approval

NG022	EZLoad Ligating Clips  	Titanium Clip 	Small, Medium (10 per cartridge) 	$17.00	$19.45	Temporary Approval

NG023	Hemoclip Plus 	Ligation System Small and Medium	15 small preloaded clips and 20 	$151.00	Temporary Approval

medium preloaded clips

NG025	Hem-o-Lok Polymer Non-Absorbable Ligating	Hem-o-lok Medium (M), Medium-Large (ML) 	Medium, Medium-Large, Large	$40.00	$48.06	Temporary Approval

Clip	and Large (L) Polymer Clips

NG042	Weck Hem-o-lok	Hem-o-lok Automatic Open Applier	15 Clips per applier	$229.00	Temporary approval

NG043	Weck Hem-o-lok	Hem-o-lok Automatic Endo Applier	15 Clips per applier	$309.00	Temporary approval

NG044	Hem-o-lok Polymer Non-Absorbable Ligating 	Hem-o-lok Extra-large (XL) Polymer Clips	Extra-large (XL)	$40.00	$70.42

Clip

NG047	Hanarostent Biliary Stent	Biliary Stent Silicone Covered Nitinol Wire 	Diameter: 8mm - 10mm Length: 	$2,200.00

99% Pure Gold complete with delivery device	50mm - 100mm

NG049	Hanarostent - Covered Tracheal airway Stent	Tracheal Airway Stent Silicone Nitinol Wire 	Diameter: 12mm - 22mm Usable 	$2,660.00

99% Pure Gold Complete with delivery device	Length: 30mm - 80mm Total

Length:  40mm - 80mm

National Surgical Corporation Pty Ltd

NI154	Alpha Infusion Pump System	Alpha Infusion Pump Kit 200ml (includes 	200ml	$200.00	Temporary listing pending review of

pump, introducer needle, syringe, carry bag, 	product group

instructions) sterile

NI155	Alpha Infusion Pump System	Alpha Infusion Pump Kit 450ml (includes 	450ml	$260.00	Temporary listing pending review of

pump, introducer needle, syringe, carry bag, 	product group

instructions) sterile

NI156	Alpha Infusion Pump System	Alpha Infusion Pump Endhole Catheter	0.5, 1.0, 2.0, 4.0 and 5.0ml/per 	$60.00	Temporary listing pending review of

hour endhole catheters	product group

NI157	Alpha Infusion Pump System	Alpha Infusion Pump Mulltidrip Catheter	2.0, 4.0ml hour, 6 or 12cm infusion	$70.00	Temporary listing pending review of

length	product group

NI158	Alpha Infusion Pump System	STA endhole catheter including attachment 	2.0, 4.0 ml per hour	$70.00	Temporary listing pending review of

suture	product group

Prostheses List by Category and Sponsor	Page 72 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Nipro Asia Pte Ltd-Melbourne

NQ001	Surefuser	Surefuser 50ml. Sterile infusion devices, spring	Volume of 50ml at 10ml/hr, or at 	$48.00

or elastometric driven. Various flow rates	4.2ml/hr, or at 2.1ml/hr, or at

1.0ml/hr, or at 0.7ml/hr or at

0.4ml/hr or at 0.3ml/hr

NQ002	Surefuser	Surefuser 100ml. Sterile infusion devices, 	Volume of 100ml at 200ml/hr, or at 	$48.00

spring or elastometric driven. Various flow rates	100ml/hr, or at 20ml/hr, or at

8.3ml/hr, or at 4.2ml/hr, or at

2.0ml/hr, or at 0.8ml/hr or at

0.6ml/hr

NQ003	Surefuser	Surefuser 250ml. Sterile infusion devices, 	Volume of 250ml at 125ml/hr, or at 	$48.00

spring or elastometric driven. Various flow rates	62.5ml/hr, or at 10ml/hr, or at

5ml/hr, or at 3.5ml/hr, or at

2.0ml/hr, or at 1.5ml/hr

Nucletron Pty. Limited

NU001	selectSeed	Nucletron selectSeed Model # 130002 consists	One size only	$86.00	Only to be funded where used in a

of cylindrical silver rod, coated with 	service for which a medicare benefit is

radioactive Iodine-125 layer. Active silver rod 	 payable (current MBS items are

is encapsulated in hollow titanium tube. Laser 	37220, 15338)

welding, using sperical shaped end welds,

seals the tube.

Nutricia Australia

NF001	Flocare Gastrostomy tube (G-tube)	The Flocare Gastrostomy tube can be used as a	Ch10, 14, 18, 20	$60.00

replacement of an existing gastrostomy tube

(PEG or G-tube) or as an initial gastrostomy

tube during a surgical intervention. This

balloon tube is made of Carbothane, which

ensures a longer life than tubing made of PUR

or silicone.

NF002	Flocare Percutaneous Endoscopic gastrostomy 	The Flocare PEG set is for endoscopic 	various sizes - charriere 10, 14 and 18	$135.00

(PEG) set	placement of a gastrostomy tube, based on the

"Pull" technique.

Olympus Australia

OL003	Bile Duct Stent	Polyethylene Stents	7FR - 12FR 3cm - 15cm	$63.00

OL004	Bile Duct Stent	Polyethylene Stents	7FR - 10FR 3cm - 15cm	$80.00	$179.75

OL005	Bile Duct Stent	Fluorinated Ethylene Propylene	10FR - 14FR 3cm -15cm	$38.00

Prostheses List by Category and Sponsor	Page 73 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OL008	Olympus Biliary Stent Set	Radio-opaque Polyethglare Stent Set	7Fr 3cm - 15cm, 8Fr 3cm - 15cm, 	$195.00

10Fr 3cm - 15cm

Oncura Pty Ltd (GE Health Care Pty Ltd)

ON001	Iodine 125 - 'Rapid Strand' Brachytherapy 	Rapid Strand consists of 10 welded titanium 	One size each	$6,500.00	Only to be funded where used in a

Implant, Iodine 125 - 'OncoSeeds' 	capsules containing iodine-125 absorbed onto a	service for which a medicare benefit is

Brachytherapy Implant	 silver rod.  OncoSeeds consists of the loose 	 payable (current MBS items are

seeds only.	37220, 15338)

ON002	Iodine 125 - Rapid Strand Brachytherapy 	I-125 Rapid Strand, code IMC 7000, consists 	One size only	$55.00	$65.00	Only to be funded where used in a

Implant; OncoSeeds Brachytherapy Implant	of 10 welded titanium capsules containing 	service for which a medicare benefit is

iodine 125. This assembly is sterile, the 	 payable (current MBS items are

acitivity of the capsules "seeds" is available 	37220, 15338)

from 0.18mCi to 0.70mCi.  Individual I-125

capsules (seeds) are also available as

OncoSeeds IMC6711.  To be used only if

more than 120 seeds are used per patient.

Orthocare Pty Limited

OC001	Pain Care 2000	Pain Care 2000 System	One size only	$229.00

OC002	Pain Care 2000	"Y" Accessory Kit	One size only	$80.00

OC003	Pain Care 2000L	Pain Care 2000L System	One Size Only	$249.00

OC004	Pain Care 2000L	"Y" Accessory Kit	One Size Only	$80.00

OC005	Pain Care 2000L	Multiport Catheter 54"	One Size Only	$54.00

OC006	Breg Paincare 3000	100ml Continuous Infusion device (delivers 	100cc reservoir	$370.00

2ml/hr) with additional 4ml bolus.  Code # 	L=10.4cm, D=3.0cm, W=7.4cm

10314

OC007	Breg Paincare 3200	200ml Continuous Infusion device (delivers 	200cc reservoir	$265.00	$395.00

4ml/hr) with additional 4ml bolus Code # 	L=10.4cm, D=6.5cm, W=7.4cm

11030

OC008	Breg Paincare 4200	200ml Continuous Infusion device (delivers 	200cc reservoir	$265.00	$395.00

2ml/hr) with additional 4ml bolus Code # 	L=10.4cm, D=6.0cm, W=7.0cm

11090

Orthotech Pty Ltd

OH065	PC2000 Pain Control Infusion Pump	Plastic spring loaded drug delivery device	0.5 ml - 4 ml	$310.00

OH122	PC2000 Pain Control Infusion Pump 	Plastic spring loaded drug delivery device	0.5ml - 4ml	$130.00

Connector

Prostheses List by Category and Sponsor	Page 74 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Pharmacia Australia Pty Ltd

PU056	Gelfoam Sterile Sponge	Sterile, pliable, nonantigenic surgical sponge 	Size 12 - 20mm x 60mm x 7mm, 	$4.00	$35.62

prepared from specially treated purified gelatin 	packet of 4; Size 100 - 80mm x

solution	125mm x 10mm in individual packet

Promedica Pty Ltd

PO001	Corflo Cubby LPGD Kit	Low profile gastronomy device	12 - 24fg x 1.0 - 4.5cm	$210.00

PO002	Corflo Gastronomy Replacement Device	Dual and triple gastronomy tubes	Dual 12 - 24fg 5 - 20cc balloon; 	$69.00

Triple 16 - 24fg 20cc balloon

PO003	Corflo Max 20fg PEG Kit Complete with 7fg 	Sterile enteral feeding tube with  accessories	20fg	$190.00

Snare - "Pull Type"

PO004	Corflo Max 20fg PEG Kit "Pull Type"	Sterile enteral feeding tube with  accessories	20fg	$165.00

Pyramed Australia LTD

PY002	Optimed Biliary Sinus Stent	Nickel Titanium Alloy	4 - 12 x 30 - 100mm	$2,500.00

PY003	Sinus-Flex Vascular-Biliary Stent	Nickel Titanium Alloy	4 - 12 x 40 - 80mm	$1,888.00	$2,000.00

PY004	Sinus-Endoflex-Biliary Sinus Stent	Nickel Titanium Alloy	40 x 7, 8, 9, 10mm; 60 x 7, 8, 9, 	$2,500.00

10mm; 80 x 7, 8, 9, 10mm

Roche Diagnostics Australia Pty Ltd

RO001	"Disetronic Insulin Infusion Pump System"	D-Tron plus	Large Kit Blue or Anthracite	$6,700.00

RO002	"Disetronic Insulin Infusion Pump System"	H-Tron plus	Large Kit Blue or Grey	$5,700.00

RO003	Disetronic Administration Sets and 	Adaptor D-Tron plus	10/box	$13.00	The price indicated is per unit and

Accessories	there are 10 units per box

RO004	"Disetronic Infusion Sets"	Tender II 17/30	Pack 10/10	$7.70	$22.90	The price indicated is per unit and

there are 10 units per box

RO005	Disetronic Administration Sets and 	Adaptor H-Tron  plus	Grey/Blue each	$15.00

Accessories

RO006	Disetronic Administration Sets and 	Plastic Cartridge (H-Tron)	3.15mL 25/box	$7.80	$11.96	The price indicated is per unit and

Accessories	there are 25 units per box

RO007	Disetronic Administration Sets	Plastic Cartridge (D-Tron plus)	3.0mL 5/box	$13.00	The price indicated is per unit and

there are 5 units per box

RO008	"Disetronic Insulin Infusion Pump System"	H-Tron plus	Small Kit Blue or Grey	$5,400.00

RO009	"Disetronic Insulin Infusion Pump System"	D-Tron plus	Small Kit Blue or Grey	$6,400.00

Prostheses List by Category and Sponsor	Page 75 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

RO010	"Disetronic Infusion Sets"	Tender II 17/60	Pack 10/10	$7.70	$29.90	The price indicated is per unit and

there are 10 units per box

RO011	"Disetronic Infusion Sets"	Tender II 17/80	Pack 10/10	$7.70	$29.90	The price indicated is per unit and

there are 10 units per box

RO012	"Disetronic Infusion Sets"	Tender I 17/60	Pack 10	$7.70	$21.90	The price indicated is per unit and

there are 10 units per box

RO017	Disetronic Tender Infusion Set	Tender II 13/30 Pack 20/10	13/30mm	$7.70

RO018	Disetronic Tender Infusion Set	Tender II 13/60 Pack 20/10	13/60mm	$7.70

RO019	Disetronic Tender Infusion Set	Tender II 13/80 Pack 20/10	13/80mm	$7.70

RO020	Accu-chek Spirit Insulin Pump	Insulin infusion pump	One size only	$5,000.00	Temporary listing pending review of

product group

Rymed Pty Ltd

RY001	MiniMizer Adjustable Gastric Band	Silicon elastomer	14mm wide, 16.6cm band two 	$2,200.00

phase closure, 1: 31mm inner

diameter, phase 2: 26mm inner

diameter. 40cm silicon tube attached

Sherwood Davis & Geck T/A Tyco Healthcare Pty Ltd

SG001	Gastrostomy Tube	EntriStar Single Pass PEG	16fg, 20fg	$200.00

SG002	Dexon Mesh Danbury 7979-00	Beige polyglycolic acid absorbable surgical 	18 x 23cm	$119.48

mesh fabric

Sirtex Medical Limited

SE001	SIR-Spheres including Delivery Apparatus	Biocompatible microspheres 20-60mm 	One size only	$7,650.00	$8,014.00	Temporary listing pending review

(microns) in diameter containing yttrium-90.

Delivery apparatus is PVC tubing, ABS

stopcocks, acrylic holders and stainless steel

needles with PE hubs

Smiths Medical Australasia Pty Ltd

SI001	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	One size only	$459.00

CATH II Trans Arterial Percuataneous System

SI002	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	One size only	$455.00

CATH Intraspinal 501CS System

SI003	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm O.D. PolyFlow 	$490.00

CATH P.A.S Port T2 System	Polyurethane Catheter

Prostheses List by Category and Sponsor	Page 76 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SI005	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	One size only	$455.00

CATH Peritoneal System

SI006	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	One size only	$455.00

CATH Intraspinal 500CS System

SI007	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	2.3 mm silicone catheter	$455.00

CATH Arterial Titanium System

SI008	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	2.8 mm silicone catheter & 9 French	$470.00

CATH Titanium Venous Portal	 introducer set

SI009	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$459.00

CATH Implantable Venous Access System

SI010	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9mm polyurethane catheter	$470.00

CATH Implantable Access System - Venous

Portal, with introducer set

SI011	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$475.00

CATH Low Profile Titanium Venous System

SI012	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$495.00

CATH Low Profile Implantable Venous

System, with introducer set

SI013	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	2.8 mm silicone catheter	$430.00

CATH II  Titanium Venous System

SI014	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	2.8 mm silicone catheter	$450.00

CATH II Titanium Venous System, with

introducer set

SI015	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$430.00

CATH II Titanium Venous System

SI016	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$450.00

CATH II Titanium Venous System with

introducer set

SI017	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	2.6 mm polyurethane catheter	$459.00

CATH Titanium Venous System with

introducer set

SI018	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$420.00

CATH II Low Profile Titanium Venous

System

Prostheses List by Category and Sponsor	Page 77 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SI019	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.9 mm polyurethane catheter	$450.00

CATH II Low Profile Titanium Venous

System with introducer set

SI020	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	1.2 mm O.D. polyurethane catheter	$458.00

CATH II Epidural Low Profile System

SI021	Injection/Infusion Ports, Sterile - PORT-A-	Port - single lumen	0.9 mm O.D. polyurethane catheter	$458.00

CATH II Intraspinal Low Profile System

SI022	Injection/Infusion Ports, Sterile - PORT-A-	Port - dual lumen	3.4 mm silicone catheter	$565.00

CATH II Dual Lumen Titanium Venous system

SI023	Injection/Infusion Ports, Sterile - PORT-A-	Port - dual lumen	3.4 mm silicone catheter	$600.00

CATH II Dual Lumen Titanium Venous

system and introducer set

SI024	Medication Cassettes (50ml & 100ml)	Pump	50 mL	$21.00

SI025	Medication Cassettes (50ml & 100ml)	Pump	100 mL	$28.00

SI026	CADD Administration Set 175cm TOTM 	For use with SI036	250 mL	$7.00	$18.75

tubing

SI027	CADD Administration Sets, 198cm, with Bag	Pump	198 cm	$17.00

Spike & Add-on Anti-siphon Valve, TOTM

Plasticized Tubing, Model No. 21-7057-24

SI028	Extention Set (30" & 60")	Pump	76 cm	$6.00

SI029	Extention Set (30" & 60")	Pump	152 cm	$7.00

SI034	CADD-PRIZM VIP (Variable Infusion Profile) 	Pump	One size only	$5,445.00

Model 6100; CADD-PRIZM PCS Ambulatory

Infusion Pump, Model 6100

SI036	Flexible Medication Reservoir, 250ml Model 	Pump	250 mL	$7.00

21-6167-24

SI037	CADD Legacy 1 Model 6400 Ambulatory 	Pump	One size only	$4,850.00

Infusion Pump

SI038	CADD Legacy Plus Model 6500 Ambulatory 	Pump	One size only	$5,445.00

Infusion Pump

SI039	CADD Legacy PCA Model 6300 Ambulatory 	Pump	One size only	$5,445.00

Infusion Pump

SI040	Adminstration Set	Bag Spike, Integral Anti-Siphon Valve	196cm Bag Spike, Box of 12	$7.00	$18.75

Prostheses List by Category and Sponsor	Page 78 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SI041	Administration Set	High Volume, with 0.2 Micron Filter, Male 	Box of 15	$7.00	$18.75

Luer, Add On Anti Syphon Valve

SI042	Extension Set	Microbore TOTM with 0.22 Filter, M/M 	152cm	$6.00	The benefit amount/minimum benefit

Luers, for Flolan	 amount is for and individual product

which comes as a pack of six.

SI044	Administration Set	High Volume, TOTM- Plasticized Blue 	305cm	$22.00	The benefit amount/minimum benefit

Striped with 1.2 Micron Filter, Male Luer, 	 amount is for an individual product

Add On Anti-Siphon Valve	which comes as a pack of ten.

Stryker Australia Pty Ltd (2)

SK120	Stryker PainPump	Vacuum operated pump providing controlled 	120ml Unit Base Infusion Kits	$230.00

infusion of a Local Anaesthetic directly into a

surgical site for post-operative pain

management.

SK121	Stryker PainPump	Vacuum operated pump providing controlled 	120ml unit 1-7 Day Infusion Kits	$258.00

infusion of a Local Anaesthetic directly into a

surgical site for post-operative pain

management.

SK122	Stryker PainPump	Vacuum operated pump providing controlled 	120ml unit Two Pump 2-4 Day 	$370.00

infusion of a Local Anaesthetic directly into a 	Infusion Kits

surgical site for post-operative pain

management.

SK123	Stryker PainPump	Vacuum operated pump providing controlled 	270ml unit 1-7 Day Infusion Kits	$300.00

infusion of a Local Anaesthetic directly into a

surgical site for post-operative pain

management.

SK124	Stryker PainPump	Vacuum operated pump providing controlled 	270ml unit Base Infusion Kits	$265.00

infusion of a Local Anaesthetic directly into a

surgical site for post-operative pain

management.

SK125	Stryker PainPump	Vacuum operated pump providing controlled 	75-150mm Extra Fenestration 	$62.50

infusion of a Local Anaesthetic directly into a 	Infusion Catheters

surgical site for post-operative pain

management.

Prostheses List by Category and Sponsor	Page 79 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Surgical Synergies Pty Ltd

SS001	PainBuster	Kit includes catheter, introducer needle, flow 	270ml volume x 2 lines x 2 ml per 	$450.00

restrictor, filter, bolus	hour; 270ml x 2ml, 5ml bolus;

270ml x 1-7ml/hr

SS002	PainBuster	Kit includes catheter, introducer needle, flow 	100ml volume x 2 ml per hour	$250.00

restrictor, filter

SS003	PainBuster	Kit includes catheter, introducer needle, flow 	270ml volume x 2 ml per hour	$300.00

restrictor, filter

SS004	PainBuster	Kit includes catheter, introducer needle, flow 	270ml volume x 5 ml per hour	$300.00

restrictor, filter

SS005	Painbuster	Kit includes catheter, introducer needle, flow 	270ml x 4ml/hr, dual; 400ml x 4ml	$610.00

restrictor, filter	 per hour, dual

SS006	Painbuster	Kit includes catheter, introducer needle, flow 	400ml x 10ml/hr; 400ml x 5ml/hr	$450.00

restrictor, filter

Tag Medical

TM035	ANASTOCLIP (VCS)	VCS - Small	0.9mm	$410.00

TM036	ANASTOCLIP (VCS)	VCS - MEDIUM	1.4mm	$384.00

TM037	ANASTOCLIP (VCS)	VCS - LARGE	2.0mm	$384.00

TM038	ANASTOCLIP (VCS)	VCS - X-LARGE	3.0mm	$384.00

Taylor Bryant Pty Ltd

TB134	Curaspon Absorbable Gelatin Sponge	Dental Cubes, Ster, Gel Sponge	10 x 10 x 10mm, Bx /50. Benefit 	$1.00

amount per item

TB135	Curaspon Absorbable Gelatin Sponge	CUR-D-101010-60  Dental Cubes, Ster, Gel 	10 x 10 x 10mm, Bx 2/30. Benefit 	$2.00

Sponge	amount per item.

TB136	Curaspon Absorbable Gelatin Sponge	CUR-SP-805001-20 Special 20, Ster, Gel 	80 x 50 x 1mm, Bx /20	$8.00

Sponges

TB137	Curaspon Absorbable Gelatin Sponge	CUR-ST-1258001-10C Absorb Sterile Gelatin	100mm, Bx /10	$41.00

Sponges

TB138	Curaspon Absorbable Gelatin Sponge	CUR-ST-1258010-10 Absorb Sterile Gelatin 	100mm, Bx /10	$41.00

Sponges

TB139	Curaspon Absorbable Gelatin Sponge	Sterile Gel Sponges	60 x 20 x 7mm, Bx /10	$7.00

TB140	Curaspon Absorbable Gelatin Sponge	CUR-ST-602007-10NSHS Special Paper Peel 	Bx /10	$7.00

Pack

TB141	Curaspon Absorbable Gelatin Sponge	Sterile Gel Sponges	80 x 50 x 10mm, Bx /10	$8.00

Prostheses List by Category and Sponsor	Page 80 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB142	Curaspon Absorbable Gelatin Sponge	CUR-ST-805010-10-NSHS Special Paper Peel	Bx /10	$12.00

Pack

TB143	Curaspon Absorbable Gelatin Sponge	CUR-T-8030-05 Tampon 5, Anal Ster, Gel 	80 x 30mm, Bx /5	$9.00

Sponge

TB314	Curaspon Absorbable Gelatin Powder	Curaspon Powder 1 Gram Fluffy	1 gram	$47.00

TB359	Curaspon Absorbable Gelatin Sponge	Absorb Sterile Gelatin Sponges	200mm, Bx/10	$55.00

Technology For Life Pty Ltd

TE002	Sclerosol Pleural Spray	Intrapleural Patch	5gm	$100.00	$140.00

The Mayo Group International Pty Ltd

CM007	Vascular Ports - Implantable Vascular Access 	Arrow Model No.'s VARRX AP01007, 	Ports - H15.5mm x L28.6mm, 	$507.00

System	AP06010, AP06013, AP06014, AP06015, 	Weight 9.2grams, Internal Vol.

AP06018, AP06520.  Titanium Port with self 	0.8ml.  Catheter 75cm

sealing silicone septum and either attached or

detached silicone catheters. Include relevant

size Introducer Kit.

CM008	Vascular Ports - Implantable Vascular Access 	Arrow Model No.'s   AP6528, AP06530, 	Ports - H15.5/17.1mm x L28.6mm,	$1,275.00

System	AP06535, .  Double Titanium ports with self 	 Weight 19.9grams, Internal Vol.

sealing silicone septums and either attached or 	0.8 - 1.0ml each side.  Catheters 75cm

detached dual lumen silicone catheters. Include

relevant sized Introducer Kit.

CM009	Low Profile Ports -  Implantable Vascular 	Arrow Model No.'s VARRX AP01040,  	Ports - H10mm, L25mm, Weight 	$604.00

Access System	AP06046, AP06016, AP06020, AP06012, 	9grams, Internal Vol. 0.3ml.

AP06022, AP06025.  Plastic low profile ports 	Catheter75cm

with self sealing silicone septum and either

attached or detached silicone catheters. Include

relevant sized Introducer Kit.

CM010	Low Profile Ports -  Implantable Vascular 	Arrow Model No.'s VARRX AP06036, 	Ports - H10mm, L25mm, Weight 	$594.00

Access System	AP06040, AP06042, AP06045.  Titanium 	9grams, Internal Vol. 0.3ml.

Low Profile Ports with self sealing silicone 	Catheter75cm

septum and either attached or detached silicone

catheters.  Include relevant sized Introducer

Kit.

CM011	Arrow Peripherally Inserted Central 	Model No.'s VARRC PC01351.  Polyurethane	3Fr x 55cm	$112.00

Catheterisation Sets  	 single lumen catheters with stylet.

Prostheses List by Category and Sponsor	Page 81 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CM012	Arrow Peripherally Inserted Central 	Model No.'s VARRC PC01451, PR05041, 	4Fr x 55cm	$112.00

Catheterisation Sets  	Polyurethane single lumen catheters with or

without stylet.

CM013	Arrow Peripherally Inserted Central 	Model No.'s VARRC PC01552, PR05052, 	5Fr x 55cm & 70cm	$112.00

Catheterisation Sets  	PR07051 Polyurethane single and double

lumen catheters with or without stylet.

Ultimate Medical Pty Ltd

UM001	LA Bubble	Balloon based local anaesthetic infusion 	One size only	$180.00

system

W L Gore & Associates

GT001	GORE - Seamguard Staple Line Reinforcement	1pair of sleeves ePTFE	One Size Only	$206.00	Temporary Approval

Material

GT065	Gore-Tex ePTFE Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 2.5 x 10cm	$92.00

GT066	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 5 x 10cm 	$172.00

(Rectangle), 5 x 10cm (Key Hole)

GT067	Gore-Tex Mycro-Mesh	ePTFE	1mm Thickness 5 x 13cm 	$217.00

(Configured for Vaginal Prolapse), 5

x 15cm

GT068	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 18 x 24cm	$1,288.00

GT069	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness 20 x 30cm	$1,777.00

GT070	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 26 x 34cm	$2,333.00

GT071	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 10 x 15cm	$436.00

GT072	Gore-Tex Mycro-Mesh Biomaterial	ePTFE	1mm Thickness Oval 15 x 19cm	$881.00

GT074	Gore-Tex  Mycro-Mesh Biomaterial	Configured for Inguinal Hernia repair ePTFE	1mm Thickness 6cm x 12cm	$188.00

GT084	Gore-Tex MycroMesh Plus 	ePTFE	1mm Thickness 20cm x 30	$1,926.00

GT087	Gore-Tex MycroMesh Plus 	ePTFE	1mm thickness Oval 26 x 34cm	$2,536.00

GT092	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 7.5 x 10cm	$313.00

GT093	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 8 x 12cm	$403.00

GT094	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 10 x 15cm	$605.00

GT095	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 15.0 x 	$1,040.00

GT096	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 18 x 24cm	$1,622.00

GT097	Gore-Tex Dual Mesh	ePTFE	1mm Thickness 20 x 30cm	$2,271.00

Prostheses List by Category and Sponsor	Page 82 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT098	Gore-Tex Dual Mesh	ePTFE	1mm Thickness Oval 26 x 34cm	$2,960.00

GT099	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 10 x 15cm	$923.00

GT100	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 15 x 19cm	$1,846.00

GT101	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 18 x 24cm	$2,668.00

GT102	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness 20 x 30cm	$3,543.00

GT103	Gore-Tex Dual Mesh 	ePTFE	2mm Thickness Oval 26 x 34cm	$4,563.00

GT104	Gore-Tex DualMesh PLUS  	ePTFE	1mm Thickness 7.5 x 10cm	$350.00

GT107	Gore-Tex DualMesh PLUS  	ePTFE	15.0 x 19.0cm x 1mm Oval	$1,167.00

GT116	Gore Biliary Endoprostheses	ePTFE	Short or Long Catheter 8-10mmx4-	$3,605.00

8cm

GT201	Dualmesh Plus Biomaterial	ePTFE	8cm x 12cm x 1mm	$446.00

GT202	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 1mm	$633.00

GT203	Dualmesh Plus Biomaterial	ePTFE	18cm x 24cm x 1mm	$1,823.00

GT204	Dualmesh Plus Biomaterial	ePTFE	20cm x 30cm x 1mm	$2,544.00

GT205	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 1mm	$3,373.00

GT206	Dualmesh Plus Biomaterial	ePTFE, oval	10cm x 15cm x 2mm	$1,020.00

GT207	Dualmesh Plus Biomaterial	ePTFE, oval	15cm x 19cm x 2mm	$2,029.00

GT208	Dualmesh Plus Biomaterial	ePTFE,	18cm x 24cm x 2mm	$2,952.00

GT209	Dualmesh Plus Biomaterial	ePTFE,	20cm x 30cm x 2mm	$3,986.00

GT210	Dualmesh Plus Biomaterial	ePTFE, oval	26cm x 34cm x 2mm	$5,192.00

GT217	Seamguard Staple Line Reinforcement Material	1 pair of sleeves ePTFE with self-adhesive 	Ethicon Endo-Surgery ETS45, USS	$2,210.00	Temporary approval

loading and pre-trimmed sizes	 Endo GIA II 45-4.8, USS Endo

GIA II 60-4.8

William A Cook Aust Pty Ltd

WC001	Cotton-Huibregste Biliary Stent Set	7 - 11.5Fr, Length 5 - 15cm	$210.00

WC006	Cotton-Leung Biliary Stent Only	6 - 11.5Fr, Length 3 - 20cm	$80.00

WC008	Cotton-Huibregste Biliary Stent Only	7 - 11.5Fr, Length 5 - 21cm	$80.00

WC010	Zimmon Pancreatic Stent Only	Plastic pancreatic stent	Diameters 5 - 7Fr, Length 2 - 15cm	$80.00

WC012	Zimmon Biliary Stent Only	5 - 11.5Fr, Length 3 - 15cm	$80.00

Prostheses List by Category and Sponsor	Page 83 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC013	Zimmon Biliary Stent Set	Double pigtail plastic biliary stent with 	5 - 11.5Fr, Length 2 - 18cm	$205.00

delivery system

WC016	Cook Biliary Stents	Gianturco-Rösch Biliary Design	Single, triple and five body	$1,050.00

WC017	Cotton-Leung Biliary Stent Set	7 - 11.5Fr, Length 5 - 18cm	$205.00

WC062	Biliary Stents	Miller Set (UBSS-MLR). Double Pigtail Stent	Stent: 10,12,14 Fr Stent Length: 	$165.00

for Drainage of bile from the Common Duct 	2.5,5,7.5 cm Positioner Length:

into the Duodenum	25cm.

WC064	Tannenbaum Biliary Stent only	Plastic biliary stent with proximal and distal 	Diameter: 8.5,10,11.5 FR. Length 	$150.00

flaps	Between Flaps: 5 -->15 cm

WC068	Esophageal Anti-reflux Stent	Self Expanding Metal Stent with Polyurethane 	Flared End Diameter: 25mm	$2,435.00

coating and Dua anti-reflux valve	Shaft Diameter: 18mm

Length: 8, 10, 12, 14cm

WC070	Gastrostomy Tube	PEG Balloon Replacement Tube - Single	18, 24fr	$85.00

WC071	Nasobiliary Drainage Set	Biliary/Pancreatic	DRAINAGE CATHETER Fr size:  	$250.00

5,6,7,8.5 Length:  250cm Sideports:

5cm WIRE GUIDE Diameter: .035

inch Length: 480cm Color

Connection purple

WC072	Passport Low Profile Device	Enteral/Gastrostomy	FEEDING TUBE French Sizes: 	$200.00

20.0, 24.0 Length:

1.2,1.7,2.4,3.4,4.4 cm

WC078	Cook Biliary Stents	Composition Plastic, includes Stent, 	French 7.0, length 4cm	$245.00

Wireguide & Positioner

WC079	Zimmon Pancreatic Stent	Single pigtail with radio-opaque band	Diameter 4 - 10FR, Length 2 - 	$80.00

18cm

WC080	Zimmon Pancreatic Stent	Single pigtail plastic biliary stent with long 	Diameter 5 - 7 FR, Length 2 - 15cm	$80.00

curl

WC098	Cook Jejeunostomy Catheters	Composition - Catheter Radiopaque Stripe, 	12fr, length 66cm	$163.00

includes Wireguide, Airplug, Fixation Device

WC099	Cook Jejunostomy Catheters	Composition - Catheter Radiopaque Stripe, 	9fr, Length 24cm	$163.00

includes Wireguide, Airplug, Fixation Device

WC100	Colonic Z Stent with Introduction System	Composition of Stent Stainless Steel, includes	Dia 25mm, length 4, 6, 8, 10, 12cm	$1,833.00

Stent Introducer Set

WC106	Cotton-Leung Biliary Stent Set	Polyethylene Stent preloaded on an Oasis 	Diameter 7 - 11.5 FR,  length 5 - 	$205.00

Introduction System	15cm

Prostheses List by Category and Sponsor	Page 84 of 549

GENERAL/MISCELLANEOUS

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC108	Geenan Pancreatic Stent Set	Radiopaque Polyethylene Stent with or 	Diameter 3 - 11.5 FR, Length 2 - 	$227.00

without ductal flaps - includes pushing catheter	15cm

WC116	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter	Fr 3, length 55, 65cm; Fr 4, length 	$142.00

65cm, Fr 6.5, 9.5, length 90cm

WC117	Cook Central Venous Long Term Catheter	Cook TPN single lumen catheter set	Fr 3, length 55; Fr 4, length 65cm, 	$202.00

Fr 6.5 length 65, 90cm, Fr 9.5,

length 90cm

WC118	Cook Central Venous Long Term Catheter	Cook TPN double lumen catheter	Fr 5, length special; Fr 7, length 	$201.00

65cm, Fr 9 length 80, 90cm, Fr 12,

length special

WC119	Cook Central Venous Long Term Catheter Set	Cook TPN double lumen catheter set	Fr 7, length 65cm, Fr 9 length 	$261.00

90cm, Fr 12, 90, special

WC121	Cook Central Venous Long Term Catheter	Cook TPN triple lumen catheter	Fr 8, length 90cm	$225.00

WC122	Cook Central Venous Long Term Catheter	Cook TPN triple lumen catheter set	Fr 8, length 90cm	$270.00

WC123	Geenen Pancreatic Stent	Radiopaque Ployethylene Stent	Diameter 3 - 11.5 FR, length 2 -18 	$85.00

cm

WC182	Esophageal EZS Stents Polyurethane Coating	Uncoated Flange Esophageal Stent with Z-	8, 10, 12, 14cm	$2,350.00

Speed TM Introducer

WC185	Percutaneous Endoscopic Gastrostomy (PEG) 	PEG Enteral Feeding Kit - Push or Pull 	18, 20, 24 FR	$200.00

System	System

WC196	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Set consisting 	10fr, Set	$920.31

of: Suture Anchor Set, Drainage Catheter,

Wireguide, Cecostomy Catheter Set, Adapter,

Connecting Tube

WC197	Cook Irrigation Catheter	Chait Percutaneous Cecostomy Catheter	10fr, Standard or Extra Long	$351.00

WC198	Cook Jejunostomy Catheters	Heidelberg Jejunostomy Catheter	12fr, 60cm	$163.00

WC199	Cook Gastronomy Tubes	Russell Gastronomy Set	14fr, 17cm	$284.98

WC216	Fanelli Laparoscopic Endobiliary Stent Set	Fanelli stent (double flange white 	7.0 French diameter x 6cm length 	$585.00

polyehtylene), tracer Hybrid .035"X150cm 	double flange stent loaded in an 8.5

Guide (slippery wire), 8.5 Fr Introducer and 	fr delivery system.

Pusher Catheter (TFE) System with four

radiopaque accuracy markers, two way terminal

adapter

Prostheses List by Category and Sponsor	Page 85 of 549

MECHANICAL INTERNAL WOUND CLOSURE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS006	Ligation Clips - Disposable clip applier and 	Surgiclip	Small	$218.00	Temporary Approval

ligating clips

AS011	GIA*, ILA* Staplers	Titanium	75mm (3.8mm, 4.8mm)	$294.00	Temporary Approval

AS012	GIA* Reloading Unit 	Titanium. Multifire 60 Cartridge, 90 Premium	50-60mm (2.5, 3.8mm)	$233.00	Temporary Approval

Disposable Loading Unit with Titanium

Staples,  50 Premium Disposable Loading

Unit with Titanium Staples, Inverted Linear

Anastomosis Cartridges 3944, 3943, 3978,

3946, 3945, 3976, 3977

AS013	ILA* 52 Reloading Unit	Titanium. Multifire 60 Cartridge 90 Premium 	50 - 60mm (2.5mm, 3.8mm)	$158.00	Temporary Approval

Disposable Loading Unit with Titanium

Staples,  50 Premium Disposable Loading

Unit with Titanium Staple,  Inverted Linear

Anastomosis Cartridges 3944, 3943, 3978,

3946, 3945, 3976, 3977

AS016	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge,  Inverted 	90mm (3.8, 4.8mm)	$503.00	Temporary Approval

Linear Anastomosis Cartridges 3944, 3943,

3978, 3946, 3945, 3976, 3977

AS017	GIA*, ILA* Reloading Unit 	Titanium. Multifire 60 Cartridge, Inverted 	100mm (3.8,4.8mm)	$392.00	Temporary Approval

Linear Anastomosis Cartridges 3944, 3943,

3978, 3946, 3945, 3976, 3977

AS018	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable Surgical 	DST TA60-3.5; DST TA60-4.8	$315.00	Temporary Approval

Stapler and Loading Unit; Titanium staples

used for hemostatic closure of specific organs

and blood vessels (ex bowel, stomach and

lung).

AS019	PI*, Stapler	Premium Multifire TA* Disposable Surgical 	30mm (2.5, 3.5, 4.8mm)	$264.00	Temporary Approval

Stapler and Loading Unit

AS025	TA* Reloading Units; DST Series* Linear 	Premium Multifire TA* Disposable Surgical 	30mm (2.5, 3.5, 4.8mm); DST 	$243.49	Temporary Approval

Stapler Disposable Loading Units	Stapler and Loading Unit; Titanium staples 	TA90-3.5 DLU; DST TA90-4.8

used for hemostatic closure of specific organs 	DLU; DST TA45-3.5 DLU; DST

and blood vessels (ex bowel, stomach and lung)	TA45-4.8 DLU; DST TA60-3.5

DLU; DST TA60-4.8 DLU; DST

TA30-3.5 DLU; DST TA30-4.8

DLU; DST TA30V3 DLU.

AS026	PI*, Reloading Unit	Premium Multifire TA* Disposable Surgical 	30mm (2.5, 3.5, 4.8mm)	$144.00	Temporary Approval

Stapler and Loading Unit

Prostheses List by Category and Sponsor	Page 86 of 549

MECHANICAL INTERNAL WOUND CLOSURE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AS030	TA* Reloading Units	Premium Multifire TA* Disposable Surgical 	90mm (3.5mm, 4.8mm)	$724.00	Temporary Approval

Stapler and Loading Unit

AS033	Power Stapler and Staples (Powered LDS*)	LDS Instrument & Cartridges (Disposable 	One size only	$343.00	Temporary Approval

Loading Unit)

AS035	Roticulator*	Roticulator 30	30mm (3.5, 4.8mm)	$715.00	Temporary Approval

AS036	Roticulator*	Roticulator 55	55mm (3.5, 4.8mm)	$839.00	Temporary Approval

AS037	ROTICULATOR*	Polysorb 55 Disposable Loading Unit	55mm (3.5, 4.8mm)	$715.00	Temporary Approval

AS072	Staples and Disposable Stapler Applier and 	Titanium, curved, PPCEEA*; Titanium 	21-34mm; 21, 25, 28, 31, 34mm.	$769.00	Temporary Approval

staples; PPCEEA*.	Surgical Stapler.

AS075	ENDO TA*	Titanium Surgical Stapler	30mm	$606.00	Temporary Approval

AS094	GIA*, ILA* Staplers	Titanium	80mm (3.8mm, 4.8mm)	$451.00	Temporary Approval.  * Trademark

of United States Surgical Corporation

AS102	DST Series* Linear Staplers	Titanium staples used for hemostatic closure of	DST TA90-3.5; DST TA90-4.8	$398.00	Temporary approval

specific organs and blod vessels (ex bowel,

stomach and lung)

AS110	DFS Disposable Fascia Stapler	Stainless Steel	One Size Only	$183.00	Temporary Approval

AS113	DST Series* GIA* Linear Cutter Stapler and 	single use, reloadable stapler	60mm length: sizes 2.5mm, 	$354.00	Temporary approval, pending review

single use loading units	3.8mm, 4.8mm	of product group

AS114	DST Series* GIA* Linear Cutter Stapler and 	Single Use Loading Units	60mm length: Sizes 2.5mm, 	$240.00	Temporary approval, pending review

single use loading units	3.8mm, 4.8mm	of product group

AS115	DST Series* GIA* Linear Cutter Stapler and 	Single use, reloadable stapler	80mm length; Sizes 3.8 and 4.8mm	$470.00	Temporary approval, pending review

single use loading units	of product group

AS116	DST Series* GIA* Linear Cutter Stapler and 	Single Use Loading Units	80mm length: Sizes 3.8 and 4.8mm	$367.00	Temporary approval, pending review

single use loading units	of product group

AS117	DST Series* GIA* Linear Cutter Stapler and 	Single use, reloadable stapler	100mm length: Sizes 3.8 and 	$460.00	Temporary approval, pending review

single use loading units	4.8mm	of product group

AS118	DST Series* GIA* Linear Cutter Stapler and 	Single use loading units	100mm length: Size 3.8 and 4.8mm	$335.00	Temporary approval, pending review

single use loading units	of product group

AS119	DST Series* EEA* Circular Stapler	Circular staplers	21mm to 33mm	$780.00	Temporary approval, pending review

of product group

AS131	Ligation Clips - Disposable clip applier and 	Surgiclip	Medium	$246.00

ligating clips

Prostheses List by Category and Sponsor	Page 87 of 549

MECHANICAL INTERNAL WOUND CLOSURE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AS132	Ligation Clips - Disposable clip applier and 	Surgiclip	Large	$285.00

ligating clips

AS133	TA* Stapler; DST Series* Linear Staplers	Premium Multifire TA* Disposable Surgical 	30mm (2.5, 3.5, 4.8mm);  DST 	$370.00

Stapler and Loading Unit; Titanium staples 	TA45-3.5;  DST TA45-4.8;  DST

used for hemostatic closure of specific organs 	TA30-3.5;  DST TA30-4.8;  DST

and blood vessels (ex bowel, stomach and 	TA30V3.

lung).

ConMed Linvatec Australia Pty Ltd

LV086	Reflex 5mm Automatic Clip Applier	Autofeeding disposable clip applier. Contains 	medium/large	$309.00	$338.00	Temporary Approval, pending review

15 non absorbable polymer locking clips	 of product group

Device Technologies Australia Pty Ltd

DE004	SLS Clips 	Titanium	Small - Large	$41.00	The benefit amount/minimum benefit

amount is for one pouch of 4

cartridges of  24 clips.  Temporary

Approval

DE005	SLS Clips 	Titanium composition	Small, Medium, Large;   Height 3.6	$11.00	The benefit amount/minimum benefit

- 9mm, Width 4.2 - 8.4mm	 amount is per cartridge.  Temporary

Approval

DE098	SLS Clips	Titanium Clips	Medium to large	$11.00	$16.00	The benefit amount/minimum benefit

amount is per cartridge.  Temporary

Approval

DE206	SLS Clips	Titanium	Micro, Height 2.6mm, Width 3.1mm	$20.00	The benefit amount/minimum benefit

amount is per cartridge.  Temporary

Approval

Johnson & Johnson Medical Pty Ltd

JJ033	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	3-5mm; 6 clips per cartridge	$10.20	Temporary Approval

JJ034	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	9-12 mm; 6 clips per cartage	$11.00	$16.75	Temporary Approval

JJ035	Ligaclip* Ligating Clips - titanium	Titanium clips contained in a plastic cartridge	3-5 mm; 15 clips per cartage	$25.00	$31.60	Temporary Approval

JJ036	Absolok* Extra Absorbable Ligating Clips 	Polydioxanone clips contained in a plastic 	3-12 mm	$90.20	Temporary Approval

cartridge

JJ037	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium 	3-12 mm; 20 clips per applier	$246.00	Temporary Approval

clips

JJ038	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium 	3-12 mm; 30 clips per applier	$285.00	Temporary Approval

clips

JJ039	Ligaclip* Multiple Clip Applier 	Metal/plastic applier preloaded with titanium 	5; 20 clips per applier	$203.00	Temporary Approval

clips; reloadable

Prostheses List by Category and Sponsor	Page 88 of 549

MECHANICAL INTERNAL WOUND CLOSURE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ040	Ligaclip* 20/20 Reload Unit	Metal reload cartridge containing titanium clips	5 mm; 20 clips	$100.00	Temporary Approval

JJ041	Proximate* Intraluminal Stapler	Metal/plastic circular straight stapler preloaded 	21 - 33 mm	$671.00	Temporary Approval

with titanium staples

JJ042	Proximate* Intraluminal Stapler	Metal/plastic circular curved stapler preloaded 	21 - 33mm	$768.02	Temporary Approval

with titanium staples

JJ043	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with 	50 - 60mm	$350.00	Temporary Approval

titanium staples

JJ044	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with 	75 - 80mm	$470.00	Temporary Approval

titanium staples

JJ045	Proximate* Linear Cutter with Staples 	Metal/Plastic linear cutter preloaded with 	100mm	$460.00	Temporary Approval

titanium staples

JJ046	Proximate* Linear Cutter  Staple Reload Unit 	Plastic linear cutter reload cartridge containing 	50 - 60mm	$233.00	Temporary Approval

titanium staples

JJ047	Proximate* Linear Cutter  Staple Reload Unit 	Plastic linear cutter reload cartridge containing 	75 - 80mm	$328.00	Temporary Approval

titanium staples

JJ048	Proximate* Linear Cutter Staple Reload Unit	Plastic linear cutter reload cartridge containing 	100mm	$335.00	Temporary Approval

titanium staples

JJ049	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	30mm	$370.00	Temporary Approval

titanium staples

JJ050	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	55 - 60mm	$315.00	Temporary Approval

titanium staples, manual closure

JJ051	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	55 - 60mm	$315.00	Temporary Approval

titanium staples, automatic closure

JJ052	Proximate* Linear Stapler	Metal/Plastic linear stapler preloaded with 	90mm	$398.00	Temporary Approval

titanium staples

JJ053	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing	30mm	$233.00	Temporary Approval

titanium staples

JJ054	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing	55 - 60mm	$235.00	Temporary Approval

titanium staples

JJ055	Proximate* Linear Stapler Reload Unit 	Plastic linear stapler reload cartridge containing	90mm	$248.00	Temporary Approval

titanium staples

JJ056	Proximate Articulating Linear Stapler	Articulating linear stapler preloaded with 	55mm	$830.00	Temporary Approval

titanium staples

JJ184	Endopath Multi Stapler	Endoscopic titanium stapler with staples	11mm shaft diameter	$530.00	Temporary Approval

Prostheses List by Category and Sponsor	Page 89 of 549

MECHANICAL INTERNAL WOUND CLOSURE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ186	Ligaclip Endoscopic Multiclip Applier	Metal/plastic stapler with titanium clips	10-12mm shaft diameter	$452.00	Temporary Approval

JJ187	Ligaclip Allport 5mm Clip Applier	Metal/plastic stapler with titanium clips	5mm shaft diameter	$398.00	Temporary Approval

JJ188	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium staples	45mm; short shaft	$685.00	Temporary Approval

JJ189	Endopath Linear Cutter 	Metal/plastic cutter-stapler with titanium staples	45mm; long shaft	$740.00	Temporary Approval

JJ190	Endopath ETS Linear Cutter reload	Titanium staple cartridge	45mm	$243.49	Temporary Approval

JJ191	Endopath Linear Cutter	Metal/plastic cutter-stapler with titanium staples	35mm	$670.00	Temporary Approval

JJ192	Endopath ETS Linear Cutter reload	Titanium staple cartridge	35mm	$220.00	Temporary Approval

JJ443	Proximate Intraluminal Stapler PPH	Proximate Hemorrhoidal Circular Stapler PPH	One Size Only	$725.00

JJ474	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40	30mm &, 40mm	$618.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

JJ475	Proximate Contour Curved Cutter/Stapler	Contour Curved Cutter/Stapler 30 & 40mm 	30mm & 40mm	$253.00	Only to be funded where used in a

reload cartridges	service for which a Medicare Benefit

is payable

Morton Surgical Pty Ltd

MG001	Aspide Surgimesh	Monofilament polypropylene	AS 59611p - 6 x 11cm Thread 	$40.00

0.14mm Box/5

MG004	Aspide Surgimesh	Monofilament polypropylene	AS 2812p - 8 x 12cm Thread 	$48.50

0.14mm Box/5

MG005	Aspide Surgimesh	Monofilament polypropylene	AS 31013p - 10 x 13cm Thread 	$78.50

0.14mm Box/5

MG006	Aspide Surgimesh	Monofilament polypropylene	AS 511015p - 10 x 15cm Thread 	$55.50

0.14mm Box/5

MG007	Aspide Surgimesh	Monofilament polypropylene	AS 41515p - 15 x 15cm Thread 	$51.50

0.14mm Box/5

MG008	Aspide Surgimesh	Monofilament polypropylene	E33Lg - Easyplug Large Box/5	$144.00

MG009	Aspide Surgimesh	Monofilament polypropylene	E33mg - Easyplug Medium Box/5	$144.00

MG010	Aspide Surgimesh	Monofilament polypropylene	E33Sgp - Easyplug Small Box/5	$144.00

Prostheses List by Category and Sponsor	Page 90 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Advanced Neuromodulation Systems Australia Pty Ltd

AV001	ANS Spinal Cord Stimulation System (SCS)	Lead Extensions - in addition to 3341, 3342, 	60cm length	$1,510.00	When used in pain therapy - to be

3343, 3382 and 3383, additional model 3346 -	funded when the patient has

Dual Quad Extension and 3386 - single 	undergone a multi-disciplinary

octrode extension	assessment and trial of stimulation.

AV002	ANS Spinal Cord Stimulation System (SCS)	Octrode Lead. 8 Electrode (thoracic or cervical 	30cm, 60cm	$4,293.00	When used in pain therapy - to be

placement).	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV003	ANS Spinal Cord Stimulation System (SCS)	Quattrode Lead. 4 Electrode.	30cm, 60cm	$3,400.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV004	ANS Spinal Cord Stimulation System (SCS) 	Dual Receiver 16 Channel (2 x 8 channel)	One size only	$12,450.00	When used in pain therapy - to be

RENEW	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV006	ANS Spinal Cord Stimulation System (SCS) 	Single Receiver. 8 Channel (1 x 8) 	One size only	$9,450.00	When used in pain therapy - to be

RENEW	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV007	ANS Spinal Cord Stimulation System (SCS)	Trial Lead. Temporary Screening Lead	30cm, 60cm	$485.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV008	ANS Spinal Cord Stimulation System (SCS) 	Transmitter Kit 16 Channel	One size only	$9,450.00	When used in pain therapy - to be

RENEW	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV009	ANS Spinal Cord Stimulation System (SCS) 	Transmitter Kit 8 Channel	One size only	$6,783.00	When used in pain therapy - to be

RENEW	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV011	ANS Spinal Cord Stimulation System (SCS)	Lamitrode Plate Electrode Lead	One size only	$7,040.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

Prostheses List by Category and Sponsor	Page 91 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AV012	ANS Spinal Cord Stimulation System (SCS)	Lamitrode Dual 8 Plate Electrode Lead	One size only	$7,640.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV013	ANS Spinal Cord Stimulation System (SCS)	Boots, Connectors, Anchors, Strain Relief	One size only	$730.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

AV014	ANS Spinal Cord Stimulation System (SCS) 	Implantable Pulse Generator - Genesis Model 	One size only	$17,450.00

GENESIS	3608

AV015	ANS Spinal Cord Stimulation System (SCS) 	Patient Programmer Model 3850	One size only	$2,831.00	When used in pain therapy - to be

GENESIS	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation

AV016	ANS Spinal Cord Stimulation System (SCS) 	Communication Magnet Model 1210	One type only	$150.00	When used in pain therapy - to be

GENESIS	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation

AV017	ANS Spinal Cord Stimulation System (SCS) 	Implantable Pulse Generator - Genesis G4 	One Size Only	$9,450.00

GENESIS	Model 3604

AV018	ANS Spinal Cord Stimulation System (SCS) 	Implantable Pulse Generator - Genesis XP 	One Size Only	$18,650.00

GENESIS	Model 3609

AV019	ANS Spinal Cord Stimulation System (SCS) 	Implantable Pulse Generator - Genesis XP 	One Size Only	$18,650.00

GENESIS	Dual Model 3644

AV020	ANS Spinal Cord Stimulation System (SCS) 	QuikLink Patient Programmer Model 3860	One Size Only	$1,250.00

GENESIS

AV021	A127 Lead Extension	A127 Lead Extension	15cm, 40cm, 60cm, 90cm	$1,510.00

AV022	Genesis RC Rechargeable IPG	Genesis RC (IPG) Neurostimulation System	70mm	$19,150.00

AV023	Genesis RC Rechargeable IPG	Genesis RC Dual 4 (IPG) Neurostimulation 	76mm	$19,150.00

System

AV024	Genesis RC Rechargeable IPG	External Charging System	$1,000.00

AV025	Eon Neurostimulation System	Eon Neurostimulation Implantable Pulse 	Height = 59mm	$19,150.00

Generator #3716

AV026	Eon Neurostimulation System	Eon Programmer #3851	$2,831.00

AV027	Lamitrode S Series Leads	Lamitrode S Series, 8 Channel, Model # 3283	Length = 30cm	$7,040.00

Prostheses List by Category and Sponsor	Page 92 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AV028	Lamitrode S Series Leads	Lamitrode S Series, 8 Channel, Model # 3286	Length = 60cm	$7,040.00

AV029	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 3243	Length = 30cm	$7,040.00

AV030	Lamitrode S Series Leads	Lamitrode S Series, 4 Channel, Model # 3246	Length = 60cm	$7,040.00

AV031	Lamitrode C Series Leads	Lamitrode C Series, 8 Channel, Model # 3245	Length = 60cm	$7,040.00

AV032	Lamitrode C Series Leads	Lamitrode C Series, 16 Channel, Model # 	Length = 60cm	$7,640.00

3289

AV033	Axxess Permanent Lead	Axxess Quad Lead:  7mm - Model #4044, 	Length - 45cm	$485.00

9mm - Model # 4054

AV034	Axxess Permanent Lead	Axxess Quad permanent Lead:  7mm - Model 	Length 30 - 60cm	$3,400.00

#4143 & 4146, 9mm- Model # 4153 & 4156

Advanced Surgical Design & Manufacture Ltd

AE053	ASDM Bone Plates	Custom Skull Mesh Plate, Titanium	One size only	$8,500.00

AE054	ASDM Bone Plates	Titanium 1.0mm MF Bone Plate	Small, Single square plate 2x2 	$178.00

holes, T-shape, 90 deg, 5 holes

AE055	ASDM Bone Plates	Titanium 1.0mm MF Bone Plate	Medium, Double square plate, 3x2 	$225.00

holes; Double Y-shape, 6 or 7 holes;

Y-shape, 6 hole; Double T-shape, 9

hole;T-shape, 90 deg, 7 holes;L-

shape, right or left, 5 hole;Straight

Plate, 8 hole

AE056	ASDM Bone Plates	Titanium 1.0mm MF Bone Plate	Large, Triple square plate, 4x2 	$367.00

holes;Curved plate, 8 hole;Straight

plate, 24 hole;L-shape plate, right or

left, 8 holes

AE057	ASDM Bone Plates	Titanium 1.7mm MF Bone Plate, Titanium	Small, Straight plate, 6-8mm, 4 	$153.00

hole;L-Shape, right or left, 6mm, 4

hole;Curved plate, 6mm, 4 hole

AE058	ASDM Bone Plates	Tiranium 1.7mm MF Bone Plate, Titanium	Medium, L-Shape, right or left, 	$225.00

8mm, 4 hole;Y-Shape, 8mm, 5

hole;T-Shape, 10mm, 5 hole;L-

shape, right or left, 10-12mm, 4-5

holes;Straight Plate, 8 hole;Double

Y-Shape, 6-7 holes;Curved plate, 6-

8 holes;Single square plate, 2x2

holes

Prostheses List by Category and Sponsor	Page 93 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AE059	ASDM Bone Plates	Titanium 1.7mm MF Bone Plate, Titanium	Large, Triple square plate, 4x2 	$459.00

holes;Straight plate, 16 hole

AE060	ASDM Bone Plates	Titanium 2.0mm MF Bone Plate, Titanium	Small, Straight plate, 9-13mm, 4 	$102.00

holes;Staright plate, 4 holes;L-

shape, right or left, 4 holes

AE061	ASDM Bone Plates	Titanium 2.0mm MF Bone Plate, Titanium	Medium, Y-Shape, 8 hole;Double 	$158.00	$204.00

Y-Shape, 6 hole;L-Shape, right or

left, 5 holes;L-Shape, right or left, 9-

13mm, 4 holes;Straight Plate, 6

hole;Curved plate, 6 hole

AE062	ASDM Bone Plates	Titanium 2.0mm MF Bone Plate, Titanium	Large, Double square plate, 3x2 	$204.00

holes;Curved plate, 10 hole;Straight

plate, 16 hole;L-shape plate, right

or left, 9 holes

AE063	ASDM Bone Plates	Titanium 2.2mm MF Bone Plate, Titanium	Small, Straight plate, 8-14mm, 4 	$153.00

holes;Curved plate, 11mm, 4 holes

AE064	ASDM Bone Plates	Titanium 2.2mm MF Bone Plate, Titanium	Medium, Straight plate, 8-14mm, 6 	$204.00

holes

AE065	ASDM Bone Plates	Titanium 2.2mm MF Bone Plate, Titanium	Large, Straight plate, 11mm, 8 	$255.00

holes;Straight plate, 14

holes;Angled plate, 6 holes

Aurora BioScience Pty Ltd

RA001	VNS Therapy Pulse/Pulse Duo	Model 102/102R Generator	One size only	$12,670.00

RA002	VNS Therapy Lead	Model 302	One size only	$3,400.00

Australian Surgical Innovations Pty Ltd

AI004	ASI Plates and Screws	Plate	Straight, Left, Right, X, T and Y 	$206.00

shaped

AI005	ASI Plates and Screws	Mesh	$1,545.00

AI006	ASI Plates and Screws	Custom Mesh	$6,700.00

AI007	ASI Plates and Screws	Screw	Width 1.0 - 3.0mm. Length 3.0 - 	$82.00

25mm

B Braun Australia Pty Ltd

BB001	Spine System Evolution	Hook Pin	Length 25 - 60mm	$122.00

BB002	Spine System Evolution	Hook, Left and right	For 5.2 and 6mm rods, Thoracic, 	$543.00

pedicle, laminar

Prostheses List by Category and Sponsor	Page 94 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB003	Spine System Evolution	Counter/angled/universal hook	Universal - short, long; Counter - 	$281.00

small, medium; Angled - left, right

BB004	Spine System Evolution	Lateral Connector	Small, medium, large	$745.00

BB005	Spine System Evolution	Sacral Screw	Length 24 - 52mm	$120.00

BB006	Spine System Evolution	Sacral Plate	Left/right for 5.2 and 6mm rods	$743.00

BB007	Spine System Evolution	Clamp for Cross Plate	For 5.2 and 6mm rods	$480.00

BB008	Spine System Evolution	Cross Plate	For 5.2 and 6mm rods, length 50 - 	$360.00

100mm

BB009	Spine System Evolution	Rod Connector	For 5.2 and 6mm rods	$481.00

BB010	Spine System Evolution	Rod	Dia 5.2 and 6mm , length 40 - 	$283.00

500mm

BB011	Spine System Evolution	Screw	Dia 5 - 8mm, length 30 - 55mm	$450.00

BB012	Spine System Evolution	Locking Screw	For 5.2 and 6mm rods, length 30 - 	$67.00

55mm

BB013	Spine System Evolution	Head for Polyaxial Screw	For 5.2 and 6mm rods	$228.00

BB014	Spine System Evolution	Nut	For screws  for 5.2 and 6mm rods	$225.00

BB015	Neuro-Patch	Polyesterurethane	12 x 14cm	$655.00

BB061	Socon Spinal System	Socon Transpedicular Screw	Length 35mm-65mm, Dia 5mm-7mm	$223.00

BB062	Socon Spinal System	Socon Connecting Rods	Length 40mm-200mm, Dia 6mm	$359.00

BB063	Socon Spinal System	Socon Angled Rod	Length 45mm-80mm,Dia 6mm	$171.00

BB064	Socon Spinal System	Socon Clamps	One size only	$1,010.00

BB065	Socon Spinal System	Socon Crossbar	Length 50mm-80mm	$302.00

BB066	Socon Spinal System	Cross Bar Clamp	One size only	$641.00

BB070	Prospace Block	Titanium	9mm-11mm	$1,318.00

BB072	Craniofix Titanium Clamps	Titanium	11mm	$86.00

BB073	Craniofix Titanium Clamps	Titanium	16mm	$86.00	$127.00

BB074	Pressure Valve Anti Siphon Device  	Shunt  Assist Kit	15/11 to 35/25.7 pressure units	$1,190.00

BB075	Hydrocephalus Shunt 	Monostep Valve	5/3.6 to 16/11.0 pressure units	$1,281.00

BB076	Hydrocephalus Shunt 	Paedi-Gav. Valve	4/14 to 9/29 pressure units	$1,776.00

BB077	Hydrocephalus Shunt 	Dual Switch Valve	10/7.4 to 50/36.8 pressure units	$2,406.00

Prostheses List by Category and Sponsor	Page 95 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB078	Shunt Accessories	Catheter-Ventricular	60cm to 120cm	$289.00

BB079	Shunt Accessories	Deflector - Burrhole	Small, large	$180.00

BB080	Shunt Accessories	Connector	Straight, Y, T, X form	$241.00

BB081	Shunt Accessories	Reservoir	Small, large	$450.00

BB108	Aneurysm Clip	Yasargil	4.5mm x 150g to 25.0mm x 200g	$215.00	$230.00

BB109	Aneurysm Clip	Yasargil Phynox Mini	2.8mm x 110g to 7.0mm x 130g	$205.00

BB110	Aneurysm Clip	Yasargil Titanium	4.9mm x 150g to 20.0mm x 200g	$258.00

BB111	Aneurysm Clip	Yasargil Titanium Mini	2.8mm x 110g to 7.0mm x 110g	$270.00

BB112	Aneurysm Clip	Yasargil Reinforcing, Titanium/Phynox	One size only	$422.00

BB113	Neuropatch Dura Substitute	Polyurethane	6 x 14cm	$352.00

BB114	Neuropatch Dura Substitute	Polyurethane	6 x 8cm	$291.00

BB115	Neuropatch Dura Substitute	Polyurethane	4 x 10cm	$257.00

BB116	Neuropatch Dura Substitute	Polyurethane	4 x 5cm	$240.00

BB117	Neuropatch Dura Substitute	Polyurethane	2 x 10cm	$254.00

BB118	Neuropatch Dura Substitute	Polyurethane	1.5 x 3cm	$72.00

BB135	Aesculap Cervical System	Titanium, rigid	Medium 34 - 64mm length	$841.00

BB140	Aesculap Cervical System	Titanium, rigid	Large 67 - 103mm length	$1,186.00

BB153	Aesculap Cervical System	Titanium, rigid	Small 20 - 32mm Length	$725.00

BB158	Aesculap Cervical System	Titanium with locking mechanism	Dia 4 - 4.5mm, length 10 - 28mm	$395.00

BB159	Bone Screw	MACS Polyaxial & Stabilisation, Titanium	Dia 6.5 - 7mm, length 30 - 50mm	$300.00	$541.82

BB160	Bone Screw	HMA Polyaxial, Titanium	Dia 12mm, length 26 - 38mm	$1,800.00

BB161	Bone Screw	HMA Monoaxial, Titanium	Dia 12mm, length 26 - 38mm	$1,150.00

BB162	Bone Screw	MACS Locking, Titanium	Dia 12mm, length 4mm	$377.00

BB163	Bone Screw	MACS Graft, Titanium	Dia 5mm, length 35mm	$110.00

BB164	MACS TL Implant Set - Clamp	Titanium	1.2cm - 0.9cm	$750.00

BB165	MACS TL Implant Set - Nut	Titanium	Dia 15mm	$250.00

BB166	MACS TL Implant Set - Bone Graft Clamp	Titanium	1.6 x 1cm	$349.00

BB167	MACS Stabilisation Plates	Titanium, rigid	Length 45 - 100mm	$1,059.00

BB168	Craniofix	Titanium skull fixation clamp	20mm	$86.00	$140.00

Prostheses List by Category and Sponsor	Page 96 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB174	MACS TL Bone Screws	Polyaxial screw - XL	30mm and 40mm	$1,800.00

BB175	Yasargil Aneurysm Clip System	Phynox temporary clips are manufactured from 	3mm - 20mm length, phynox 	$230.00

phynox.	temporary clips.

BB176	Yasargil Aneurysm Clip System	Titanium termporary clips are manufactured 	3mm- 25mm length, titanium 	$280.00

from titanium	temporary clips.

BB211	KLA Anterior Lumbar Cage System	Anterior Lumbar Cage - PEEK	9mm x 5 degrees, 11mm x 5 	$2,357.00	$4,250.00

degrees, 13mm x 5 degrees, 11mm

x 9 degrees, 13mm x 9 degrees,

15mm x 9 degrees, 13mm X 13

degrees, 15mm X 13 degrees

BB212	CBK Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	4.5mm, 5.5mm, 6.2mm, 7mm, 	$2,500.00

8mm, 9mm

BB213	CO Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK	L23.5 x 9mm x h8mm, L23.5 x 	$2,500.00

9mm x h9mm, L23.5 x 10mm x

h10mm, L23.5 x 10.7mm x

h11mm, L23.5 x 11.7mm x

h12mm, L23.5 x 12.7mm x

h13mm, L23.5 x 13.7mm x

h14mm, L23.5 x 14.7mm x

h15mm, L23.5 x 9mm x h9mm

BB214	CC Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK	L23.5 x 10-12.5mm x h8mm, 	$2,500.00

L23.5 x 10-12.5mm x h9mm,

L23.5 x 10-12.5mm x h10mm,

L23.5mm x 11-13.5mm x h11mm,

L23.5 x 11-13.5mm x h12mm,

L23.5mm x 11-13.5mm x h13mm,

L23.5 x 11-13.5mm x 14mm,

L23.5mm x 10-12.5mm x h6mm

BB215	Adonys Posterior Lumbar Cage System	Posterior Lumbar Cage - PEEK - Standard	8mm x 4 degrees, 12mm x 4 	$2,500.00	The benefit amount/minimum benefit

degrees, 8mm x 10 degrees, 12mm 	 amount is for an individual product

x 10 degrees	which comes as a pack of two

BB216	Adonys Posterior Lumbar Cage System	Posterior Lumbar Cage - Short	8mm x 4 degrees, 10mm x 4 	$2,500.00	The benefit amount/minimum benefit

degrees, 12mm x 4 degrees, 8mm x 	 amount is for an individual product

10 degrees, 10mm x 10 degrees, 	which comes as a pack of two

12mm x 10 degrees

Prostheses List by Category and Sponsor	Page 97 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB217	Samarys Anterior Cervical Cage System	Anterior Cervical Cage - PEEK	L15 x w17 x h5mm, L15 x w17 x 	$2,500.00

h6mm, L15 x w17 x h7mm, L15 x

w17 x h8mm, L13 x w17 x h5mm,

L13 x w17 x h6mm, L15 x w20 x

h5mm, L15 x w20 x h6mm

BB218	Kopitnik Microneurosurgical AVM Clips	Composition: Phynox (Cobalt-base-alloy)	2mm, 3mm, 4mm, 5mm - straight. 	$240.00

2mm, 3mm, 4mm, 5mm - curved.

BB219	S4 Spinal System	S4 Straight Rod - Titanium	35mm - 60mm	$600.00

BB220	S4 Spinal System	S4 Straight Rod - Titanium	70mm - 180mm	$600.00

BB221	S4 Spinal System	S4 Straight Rod - Titanium	200mm - 500mm	$750.00

BB222	S4 Spinal System	S4 Pre-bent Rod - Titanium	35mm - 55mm	$700.00

BB223	S4 Spinal System	S4 Pre-bent Rod - Titanium	60mm - 100mm	$725.00

BB224	S4 Spinal System	Polyaxial Screw - titanium various sizes	All sizes	$1,550.00

BB225	S4 Spinal System	Polyaxial Screw - Titanium various sizes	Diameter 6.0mm, 7.0mm & 8.0mm	$1,550.00

- all lengths 25 - 60mm

BB226	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 4.5mm & 5mm  - all 	$1,200.00

lengths 25 - 60mm

BB227	S4 Spinal System	Monoaxial Screw - titanium various sizes	Diameter 6.0mm, 7.0mm & 8.0mm	$1,200.00

- all lengths 25 - 60mm

BB228	S4 Spinal System	S4 Cross Connector - titanium	Rigid 22mm - 41mm	$1,250.00

BB229	S4 Spinal System	S4 Cross Connector - titanium	Variable 43mm - 75mm	$1,500.00

BB230	S4 Spinal System	Set Screw - titanium	one size	$225.00

BB248	PACH Plate	Titanium	28 & 32mm	$975.00

BB252	T. Lif Intervertebral Cage System	T.Lif PEEK Intervertebral Cage	All sizes	$5,000.00

BB278	Aesculap Interbody Cage	Interbody cage	All sizes	$2,500.00

BB279	TeCorp Vertebral Body Replacement System	TeCorp Cervical	All sizes	$5,000.00

BB280	TeCorp Vertebral Body Replacement System	TeCorp Thoracic	All sizes	$5,395.00	$6,000.00

BB281	TeCorp Vertebral Body Replacement System	TeCorp Lumbar	All sizes	$5,395.00	$6,000.00

BB287	Aesculap TLIF System	Peek Optima	All Sizes	$2,357.00	$5,000.00

BB288	Aesculap Vertebral Body System	Vertebral Body System, Titanium Alloy	All sizes	$6,000.00

BB289	CranioFix Absorbable	Double sided Cranial clamp, absorbable 	11mm	$1,500.00

polyester

Prostheses List by Category and Sponsor	Page 98 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB290	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium, 	5mm-9mm, 45 Deg	$620.00	$680.00

Permanent Standard Fenestrated

BB291	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Titanium, 	5mm-13mm, 90 Deg	$620.00	$680.00

Permanent Standard Fenestrated

BB292	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox 	5mm-9mm, 45 Deg	$460.00	$482.00

Cobalt Alloy, Permanent Standard Fenestrated

BB293	T-Bar Yasargil Aneurysm Clip	T-Bar Yarsargil Aneurysm Clip, Pyhnox 	5mm-13mm, 90 Deg	$460.00	$482.00

Cobalt Alloy, Permanent Standard Fenestrated

Biomet Australia Pty Ltd

BI714	RapidFlap Cranial Clamp	Clamp, Burr Hole or Craniotomy Line, 	12, 16, 20mm	$108.00

Titanium

BI716	W Lorenz Osteosynthesis System	Pre-Contoured Neuro Mesh; Titanium	(80,85) x 53mm x (0.3,0.6)mm	$1,315.00

BI717	W Lorenz Osteosynthesis System	Neuro Gap Plate, Titanium	1.5mm system, large	$203.00

BI718	W Lorenz Osteosynthesis System	Neuro Gap Plate, Titanium	1.5mm system, small	$140.00

BI719	W Lorenz Osteosynthesis System	Neuro Sub-Temporal Plate, Titanium	1.5mm system, large	$410.00

BI720	W.Lorenz Osteosynthesis System	Neuro Gap Plate; titanium	1.5 mm system, Medium	$170.00

BI721	W Lorenz Osteosynthesis System	Plate, Burr Hole, 1.5mm System, Titanium	22mm, 25mm	$225.00

BI722	W.Lorenz Osteosythesis System	Pre-contoured Neuro Mesh, titanium	152 x 108 x (0.3, 0.6)mm	$2,370.00

BI728	W.Lorenz Osteosynthesis System	Neuro Square Plate, titanium	1.5mm system, 4 hole	$125.00

BI729	W.Lorenz Osteosynthesis System	Neuro Rectangle Plate, titanium	1.5mm system, 4 hole	$140.00

BI773	W Lorenz Osteosynthesis System	Neuro sub-temporal plate, 1.5 system, 	Small	$283.00

titanium

BI785	W Lorenz Osteosynthesis	Mesh 1.5mm system, pre-contoured, titanium	40 x 40 x 0.6mm profile	$588.00

BI870	Neurological Packs	Plate & screws: Neuro pack Burr cover or 	1.5mm or 2mm system	$720.00

multi plate set.  Thinflap 4 hole plus plate sets

BI883	RapidFLAP LS	Cranial Flap Fixation.  Includes pre-attached 	One size only	$185.00

applier. PGA/PLA

BI949	Neurological Packs	Plate & screws: Neuro pack - single plate or 	1.5mm or 2mm system	$360.00

thinflip 2 hole plate set

Boston Scientific Pty Ltd

BS098	Neuroform Microdelivery Stent System	Self-expanding nitinol stent, 3F delivery 	diameter 3.0 - 4.5 mm	$7,500.00

catheter, peelable sheath, 2F stabilising 	Length 15 mm - 30 mm

catheter, rotating haemostasis valve (x2)

Prostheses List by Category and Sponsor	Page 99 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS104	Precision Spinal Cord Stimulator System	Precision™ Rechargeable Neurostimulation 	One Size Only	$22,000.00

System Model: SC1110 0.  One (1)

Precision™ Implantable Pulse Generator; One

(1) Tunnelling Tool, One (1) Torque Wrench

and One (1) Sizing Plate.  Patient recharging

accessories pack

BS105	Precision Spinal Cord Stimulator System	External Patient Recharging System Model: 	One Size Only	$1,346.00

SC5300 0: Charger; Charges IPG battery;

Model: SC5305 0: Base Station; Cradle for

charging portable IPG battery charger.  Model:

SC6305 0: Power Supply; Power supply for

Charger Base Station

BS106	Precision Spinal Cord Stimulator System	External Patient Remote Programmer  Model: 	One Size Only	$1,350.00

SC5210 0; Hand-held remote control for

Precision™ SCS

BS107	Precision Spinal Cord Stimulator System	Clinician Programmer Model: SC7150 0; 	One Size Only	$3,200.00

Tablet PC with Advanced Bionics Bionic

Navigator software installed to program patient.

BS108	Precision Spinal Cord Stimulator System	Remote Control/ Bionic Navigator  SC - 5400	One Size Only	$750.00

BS109	Precision Spinal Cord Stimulator System	Linear Leads; Phase III Percutaneous Leads 	3 Sizes	$4,164.00

with 8 contacts per lead in 3 lengths: 30cm,

50cm, and 70cm.  Model: SC21380 300,

SC21380 500, SC21380 700.  One (1) 8-

Contact Lead (available lengths are 30, 50 or

70 cm); One (1) Operating Room Cable; One

(1) Operating Room Cable Extension; One (1)

Tunnelling Tool; Spare Stylets; One (1)

Insertion Needle

BS110	Precision Spinal Cord Stimulator System	Artisan Surgical Lead SC-8116-50  (50 cm); 	2 Sizes	$8,000.00

SC-8116-70  (70 cm).  One (1) 16-Contact

Lead; One (1) Operating Room Cable; One (1)

Set of 1cm Split Suture Sleeves

Prostheses List by Category and Sponsor	Page 100 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS111	Precision Spinal Cord Stimulator System	Lead Extensions in 3 Lengths: 25cm, 35cm, 	3 Sizes	$1,510.00

and 55cm.  Model: SC3138 250; SC3138

350; SC3138 550.  One (1) 8-Contact Lead

(available lengths are 30, 50 or 70 cm); One

(1) Operating Room Cable; One (1) Operating

Room Cable Extension; One (1) Tunnelling

Tool; Spare Stylets; One (1) Insertion Needle

BS118	Precision Spinal Cord Stimulator System	Lead Blank	One Size Only	$200.00

BS119	Precision Spinal Cord Stimulator System	Linear Trial Leads - Linear Trial Lead Phase 	3 Sizes	$485.00

III Trial Lead with 8 contacts per lead in 3

lengths: 30cm, 50cm, and 70cm.  Model:

SC21380 30T0.  One (1) 8-Contact Lead

(available lengths are 30, 50 or 70 cm); One

(1) Operating Room Cable; One (1) Operating

Room Cable Extension; One (1) Tunnelling

Tool; Spare Stylets; One (1) Insertion Needle

BS120	Precision Spinal Cord Stimulator System	Lead Revision Pack; Hex Wrench, Tunnelling 	One Size Only	$800.00

Tool, Insertion Needles in four(4) sizes

BS121	Precision Spinal Cord Stimulator System	IPG Port Plug	One Size Only	$100.00

Cardinal Health Australia 200 Pty Ltd

CI001	Ava-Tex Radiopaque Bone Cement Kit	13.8g Barium-Polymer Powder & 6mL Liquid	12mL	$299.00

Monomer, Ported Mixing Vial, Funnel,

20mL 2-Piece Syringe, Ampoule Disposal

Container, Monomer Dispersement Cannula,

Spatula, Four Self-Adhesive Charge Labels,

Part No.  BCPM003

De Puy Australia

DP046	VSP System (Titanium)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	$470.00

DP060	VSP System (Stainless Steel)	Sacral Connector - Left & Right Offset	One size only	$521.00

DP251	DOC Ventral Stabilisation System	Doc Plate	1-3 Level	$1,005.00

DP252	Acroflex Lumbar Artificial Disc	Lumbar Disc Replacement Device	One size only	$951.00

DP299	Moss Miami (Stainless Steel)	Hooks - Pedicle	One size only	$820.00

DP300	Moss Miami (Stainless Steel)	Hooks - Laminar as Wide or Narrow or Angled	One size only	$820.00

or Reduced Distance Supra-laminar or Offset

or Extended Body

Prostheses List by Category and Sponsor	Page 101 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP301	Moss Miami (Stainless Steel)	Transverse Connector - Complete	One size only	$1,004.00	$1,055.00

DP304	Moss Miami (Stainless Steel)	Inner Screw and Outer Nut	3 - 5mm	$230.00

DP305	Moss Miami (Stainless Steel)	Axial Connector	5mm/5mm and 5mm/7mm	$743.00

DP306	Moss Miami (Stainless Steel)	Monoaxial Screws	5 - 8mm x 25 - 60mm	$850.00	$883.00

DP307	Moss Miami (Stainless Steel)	Polyaxial Screws	5 - 7mm x 25 - 60mm	$1,330.00	$1,397.00

DP311	Moss Miami (Stainless Steel)	Transverse Connector Rod or Screw or Hook	One size	$598.00

DP315	Moss Miami (Stainless Steel)	Pre-Cut Rod	5mm x 30 - 90mm	$640.00

DP329	Moss Miami (Stainless Steel)	Hooks - Translation (Pedicle/Reduced 	One size only	$1,004.00	$1,347.00

Distance/Narrow/Wide Blade)

DP394	Moss Miami (Titanium)	Pre-Cut Rod	5.5mm x 30 - 90mm	$610.00

DP400	Moss Miami (Titanium)	Rod - Standard	5.5mm x 12 - 48cm	$720.00

DP405	Moss Miami (Titanium)	Outer Nut or Inner Screw	One Size Only	$250.00

DP407	Moss Miami (Titanium)	Monoaxial Screw	5 - 8mm x 25 - 60mm	$1,104.00

DP408	Moss Miami (Titanium)	Polyaxial Screw	5 - 8mm x 25 - 60mm	$1,330.00	$1,769.00

DP410	Moss Miami (Titanium)	Hooks - Pedicle	3-5 mm	$820.00

DP411	Moss Miami (Titanium)	Hooks - Laminar as Wide or Narrow or Angled	One size only	$820.00

or Reduced Distance Supra-laminar or Offset

or Extended Body

DP412	Moss Miami (Titanium)	Transverse Connector - Complete	One size only	$993.00

DP413	Moss Miami (Titanium)	Axial Connector	5mm/5mm	$743.00	$954.00

DP416	Moss Miami (Titanium)	Washers - Slotted / Angled	One Size Only	$408.00

DP418	Moss Miami (Titanium)	Hooks - Translation	One size only	$1,115.00	$1,342.00

DP420	Moss Miami (Titanium)	Transverse Connector Hook or Screw or Rod	One Size	$1,050.00

DP422	Moss Miami 4mm Anterior System (SS)	12 Sided Outie	One size only	$243.00

DP449	Kaneda SR (Smooth Rod) Anterior  (TI)	Closed Screw	1/4" - 6.25mm x 25 - 60mm	$981.00

DP450	Kaneda SR (Smooth Rod)  Anterior  (TI)	Plates	Small/Large -  Caudal or Rostral	$900.00	$1,275.00

DP451	Kaneda SR (Smooth Rod)  Anterior  (TI)	Transverse Coupler	1/4" x 13 - 16mm	$1,115.00	$1,160.00

DP452	Kaneda SR (Smooth Rod)  Anterior  (TI)	Pre Cut Rod	1/4" x 45 - 150mm	$315.00

DP453	Isola Paediatric System (Stainless Steel)	Threadless TRC - Closed or Open Body 	3/16"	$1,004.00	$1,090.00

without Rod

Prostheses List by Category and Sponsor	Page 102 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP454	Isola System (Titanium)	Slotted Connectors Standard or Extended or 	1/4" & 3/16"	$930.00	$948.00

Offset or Angled or Open or Twister

DP459	Isola System (Titanium)	Jaw Clamp	1/4" & 3/16"	$377.00

DP460	Isola System (Titanium)	Right Hand Nut	5/16"	$63.00

DP461	Isola System (Titanium)	Spinal Rod	1/4" & 3/16" x 18" & 24"	$370.00

DP462	Isola System (Stainless Steel)	Wedding Band	1/4 " & 3/16"	$743.00	$1,246.00

DP463	Isola System (Titanium)	Set Screw	6.35mm	$85.00

DP464	Isola System (Titanium)	Closed Hooks	1/4" x 3/16" x 5-11mm	$820.00	$901.00

DP465	Isola System (Titanium)	Open Hook and / or Cap	1/4" & 3/16" x 5-11mm	$605.00

DP466	Isola System (Titanium)	Wedding Band	1/4" & 3/16"	$743.00

DP469	Isola System (Stainless Steel)	Slotted Connectors  - Standard or Extended or 	1/4" & 3/16"	$743.00

Offset or Angled or Open or Twister

DP470	Isola System (Stainless Steel)	Transverse Rod Connector or Dual Rod 	1/4" & 3/16"	$1,115.00	$1,277.00

Connector

DP471	Isola System (Stainless Steel)	Closed Hooks	1/4" & 3/16" x 5-11mm	$745.00

DP472	Isola System (Stainless Steel)	Open Hook Cap or Open	1/4" & 3/16" x 5-11mm	$820.00

DP473	Isola System (Stainless Steel)	Iliac Screw	6.25 & 7.0mm	$557.00

DP474	Isola System (Stainless Steel)	Jaw Clamp	1/4" & 3/16"	$345.00

DP475	Isola System (Stainless Steel)	Right Hand Nut	5/16"	$49.00

DP476	Isola System (Stainless Steel)	Eye Rod	1/4" & 3/16" x 18" - 24"	$1,040.00

DP477	Isola System (Stainless Steel)	Spinal Rod Standard	1/4" & 3/16" x 18" & 24"	$320.00

DP480	Isola System (Stainless Steel)	Wire with Button or Beaded Wire	One size only	$64.00

DP485	Isola System (Stainless Steel)	Dual Diameter Rod	3/16" to 1/4" x 18 - 24"	$402.00	$420.00

DP487	Isola Paediatric System (Stainless Steel)	Side Tightening Hook - Opened/Closed	3/16" x 3.5mm - 11mm	$716.00

DP488	Isola Paediatric System (Stainless Steel)	Pre-Bent Rod	3/16 "	$565.00

DP489	Isola Paediatric System (Stainless Steel)	Cable Wire Screw	4.75 - 5.50mm x 25 - 30mm	$678.00

DP490	Isola Paediatric System (Stainless Steel)	Wedding Band	3/16"	$741.00

DP492	Isola System (Titanium)	Iliac Screws	6.25mm & 7.0mm	$553.00

DP494	Isola System (Stainless Steel)	Spinal Rod Hex Ends - Easy/Premium	1/4" x 18"	$635.00

DP495	Isola Paediatric System (Stainless Steel)	Growth/Tandem Connector	3/16"	$1,056.00	$1,631.00

Prostheses List by Category and Sponsor	Page 103 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP496	Isola Paediatric System (Stainless Steel)	Threadless TRC - Closed / Open Body with 	3/16"	$751.00

Rod

DP499	Isola System (Titanium)	Transverse Connector or Dual Rod Connector	1/4" & 3/16"	$1,115.00	$1,186.00

DP501	Isola System (Stainless Steel)	Set Screw	One size only	$55.00

DP502	Anterior Isola System (SS)	Single Hole Washer and Staples	16-22mm	$325.00

DP504	Anterior Isola System (SS)	Open / Closed Screw	1/4" x 5.5-7mm x 20-55mm	$834.00

DP505	Anterior Isola System (SS)	Rod with Hex End	1/4" x 18"	$325.00

DP510	Brantigan I/F Cage	PLIF C/F Cage 	Straight / Wedge	$2,675.00

DP511	Brantigan I/F Cage	ALIF C/F Cage	Small - Large 9-15mm	$4,250.00

DP513	Brantigan I/F Cage	Stackable Cage (Cervical/Thoracic/Lumbar)	Small-Large	$4,176.00	$4,390.00

DP514	Brantigan I/F Cage	Cervical Brantigan Cage	Standard/Large 4-10mm	$3,240.00

DP515	I/F Ramp	PLIF C/F Ramp	7-11 x 11-15 x 21 - 25 mm	$1,435.00

DP564	Peak Polyaxial Anterior Cervical Plate System	Anterior Cervical Plate	1 - 4 Segment	$1,700.00	$2,878.00

DP567	Peak Polyaxial Anterior Cervical Plate System	Graft Screw or Safety Locking Screw	4mm x 9 -15mm	$225.00	$300.00

DP569	Peak Polyaxial  Anterior Cervical Plate 	Primary Locking Screw	4mm  x 10 -16mm	$490.00	$964.00

System

DP576	Kaneda Anterior Scoliosis System  S/S	Open Screw - Standard or Blunt	3/16" - 6.25mm x 25 - 50mm	$822.00

DP577	Kaneda Anterior Scoliosis System  S/S	Closed Screw  - Standard or Blunt	3/16" - 6.25mm x 25 - 50mm	$852.00

DP580	Kaneda Anterior Scoliosis System  S/S	Radiused Caps for Open Screws	3/16" 	$433.00

DP581	Kaneda Anterior Scoliosis System  S/S	Staple Single or Double Hole	Small - Large	$762.00

DP828	Profile Anterior Thoracolumbar Plate System	Plates - Thoracolumbar	50 - 120mm	$3,250.00

DP829	Profile Anterior Thoracolumbar Plate System	Plates - High Thoracic	40 - 110mm 	$3,510.00

DP830	Profile Anterior Thoracolumbar Plate System	Cancellous Screw	6mm x 20 - 60mm	$620.00	$641.00

DP831	Profile Anterior Thoracolumbar Plate System	Cancellous Bolt	7mm x 25 - 60mm	$692.00	$725.00

DP832	Profile Anterior Thoracolumbar Plate System	Locking Inner Screw	One size only	$250.00

DP833	Profile Anterior Thoracolumbar Plate System	Graft Screw	15 - 30mm  	$190.00	$204.00

DP834	Profile Anterior Thoracolumbar Plate System	Locking Outer Nut	One size only	$250.00

DP842	Moss Miami (Stainless Steel)	Sacral Extender	5mm x 5 - 20mm length	$600.00

DP843	Moss Miami (Titanium)	Sacral Extender	5mm x 5 - 20mm length	$733.00

DP845	Moss Miami 4mm Anterior System (SS)	Hooks	4mm	$820.00

Prostheses List by Category and Sponsor	Page 104 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP846	Moss Miami 4mm Anterior System (SS)	Rods	4.0mm x 30 - 48cm	$805.00

DP847	Moss Miami 4mm Anterior System (SS)	Screws - Monoaxial	6mm x 25 - 55mm	$1,035.00	$1,081.00

DP848	Moss Miami 4mm Anterior System (SS)	Screws - Polyaxial	6mm x 25 - 55mm	$1,330.00	$1,619.00

DP849	Moss Miami 4mm Anterior System (SS)	Washer or Staple or 12 sided outie	One size only	$255.00	$337.00

DP851	Surgical Titanium Mesh System	Standard & Trapezoidal	10-16mm x 8-17mm Hgt	$2,140.00

DY039	TiMX Low Back System	Pedicle Screws (Standard or +5 No Cut)	5.5 - 7.75mm x 30 - 50mm	$595.00

DY041	TiMX Low Back System	Sacral Connector (Left & Right Offset or Rod)	One size only	$743.00

DY042	TiMX Low Back System	VSP Bone Plate	One/One & 1/2/Shortened/Double 	$1,700.00

Half/Triple Half Slot

DY044	TiMX Low Back System	VSP Bone Plate	Two/Two & 1/2/Three Slot	$1,859.00

DY050	TiMX Low Back System	Slotted Connector (Left & Right Offset or 	1/4"          	$743.00

Straight or Extended or Twister)

DY054	TiMX Low Back System	Hexlobe Set Screw or Spherical Nut	One size only	$78.00

DY057	TiMX Low Back System	Washers - Standard / Tapered	3mm & 4.5mm	$75.00

DY059	TiMX Low Back System	Modular Cross Connector  Hex Lobe Set 	One size only	$73.00

Screw

DY062	Brazenor Device	Custom Cervical Buttress	One size only	$2,155.00

DY066	Codman Anterior Cervical Plate System	Anterior Cervical Plate	24 - 48mm	$765.00

DY069	Codman Anterior Cervical Plate System	Anterior Cervical Plate	50 - 70mm	$1,271.00	$1,315.00

DY070	Codman Anterior Cervical Plate System	Anterior Cervical Plate	74 - 110mm	$1,431.00	$1,504.00

DY078	Kaneda SR Anterior	Kaneda SR Anterior Open Screw	1/4"-6.25mm x 25-60mm, 3/16"	$910.00

DY094	Isola Paediatric System	Stainless Steel, Slotted Connector Downsized	3/16"	$743.00

DY100	Isola System (Stainless Steel)	Threadless TRC - Closed or Open Body with 	1/4" & 3/16"	$1,004.00	$1,029.00

Rod

DY102	Isola System (Stainless Steel)	Threadless TRC - Closed / Open Body - No 	1/4" & 3/16"	$1,004.00	$1,098.00

Rod

DY103	Isola System (Stainless Steel)	Modular Cross Connector Set Screw	One Size Only	$54.00

DY105	Isola System (Titanium)	Eye Rod	1/4" x 18"	$1,049.00

DY106	Isola System (Titanium)	Modular Cross Connector Set Screw	One size only	$64.00

DY107	Carbon Fibre Cages	Stackable Cage Titanium Interface Screw Nuts	One size only	$173.00

DY108	Isola System	Titanium, Locking Screw	60-120mm	$670.00	$697.00

Prostheses List by Category and Sponsor	Page 105 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY109	Carbon Fibre Cages	Stackable Cage Titanium Protective Sleeve	5-15mm	$82.00

DY110	Carbon Fibre Cages	Stackable Cage Titanium Interface Screws	M4 / M5	$108.00

DY121	VSP System (Stainless Steel)	Pedicle Screw (Standard or +5 No Cut)	4.75-7.75mm x 25-50mm	$530.00

DY170	Monarch Spinal System	Bolts - Pedicle & Reduction	4.75 - 8.5 mm x 30 - 55mm	$585.00

DY171	Monarch Spinal System	Pedicle Screws - Polyaxial	4.75 - 8.5 mm x 30 - 55mm	$1,330.00	$1,734.00

DY174	Monarch Spinal System	Bone Plate	½ to 1½ or 2 - 3 or 3½	$1,833.00

DY176	Monarch Spinal System	Washers and Set Screws	One size only	$79.00	$83.00

DY178	Monarch Spinal System	Hooks - Closed (Narrow Tapered / wide Blade)	5 - 11 mm	$820.00	$991.00

DY179	Monarch Spinal System	Slotted Connectors 	One size only	$743.00

(Straight/Extended/Offset/Twister/Mini Offset)

DY182	Monarch Spinal System	Rods	6.35 & 5.5mm x 450mm	$350.00

DY184	Monarch Spinal System	Dual Rod Connectors End to End or Side by 	6.35 to 6.35mm or 6.35 to 5.5mm 	$722.00	$1,667.00

Side	or 6.35 to 4.75mm

DY185	Monarch Spinal System	Plate J-Hooks	3.5 - 11 mm	$594.00

DY186	Monarch Spinal System	Band Clamp Connector	6.35 & 5.5mm	$743.00

DY198	Carbon Fibre Cages	ALIF 1 C/F Cage	5 - 10 deg Sm to Lg 10 - 18 mm	$3,080.00	$3,128.00

DY289	Crossover System (Titanium)	Crossconnector	Small 18-30mm	$1,250.00	$2,625.00

DY290	Crossover System (Titanium)	Crossconnector	Medium 32-45mm	$1,250.00	$2,505.00

DY292	Crossover System (Titanium)	Crossconnector	Large 45-107mm	$1,250.00	$2,505.00

DY293	Crossover System (Titanium)	Crossover Nut or Ball Screw	One size only	$250.00

DY297	Slim-loc Anterior Cervical Plate System	Plates - one level	22-37mm	$1,271.00

DY298	Slim-loc Anterior Cervical Plate System	Plates - two level	39-53mm	$1,271.00	$1,692.00

DY299	Slim-loc Anterior Cervical Plate System	Plates - three level	54-78mm	$1,431.00	$1,946.00

DY300	Slim-loc Anterior Cervical Plate System	Screws - Self Tapping	4.5 x 12-26mm	$215.00	$225.00

DY301	Slim-loc Anterior Cervical Plate System	Screws - Large Diameter	4.8 x 12-16mm	$215.00	$225.00

DY302	Slim-loc Anterior Cervical Plate System	Screws - Self Drilling	4.5 x 12-18mm	$215.00	$225.00

DY303	Monarch Spinal System	Typhoon Cap and Domed Nuts	One size only	$681.00

DY304	Monarch Spinal System	Hooks - Open (Pedicle/Narrow Tapered/Wide 	5-11mm	$725.00

Blade)

Prostheses List by Category and Sponsor	Page 106 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY306	Isola System (Titanium)	Threadless TRC - open body with or without 	1/4" & 3/16"	$722.00

rod

DY309	Frontier Anterior Scoliosis System (Titanium)	Bone Screws	5.5 x 25-40mm, 6.5 x 25-60mm, 	$1,004.00	$1,400.00

7.5 x 35-60mm

DY310	Frontier Anterior Scoliosis System (Titanium)	Spinal Rod	4.75 x 200-450mm	$920.00

DY311	Frontier Anterior Scoliosis System (Titanium)	Twist on Internal Cap	One size only	$605.00	$733.00

DY313	Monarch Spinal System	Rods - Pre Cut/Lordosed	6.35 & 5.5mm x 45 - 95mm	$329.00

DY316	Isola System (Stainless Steel)	Eye Rod Connector Open or Closed	1/4" & 3/16"	$1,132.00

DY317	Isola System (Stainless Steel)	Band Clamp Connector or Tandem Connector	1/4" & 3/16"	$743.00

DY318	Isola System (Stainless Steel)	Pre-Cut Rod	3/16" x 35 - 90mm	$340.00

DY321	Codman Anterior Cervical Plate System	Rescue screw	12 & 15mm	$178.00

DY322	Carbon Fibre Interbody Fusion Device	Stackable C/F Cage System Wedges	11 Degree Small-Large	$3,305.00	$3,407.00

DY327	Frontier Anterior Scoliosis System	Staple/Washer	One size only	$762.00

DY332	Summit Cervical Rod System	Occipital Plates "Y" or "T"	31-45mm	$1,717.00

DY333	Summit Cervical Rod System	Occipital Bone Screw	4.5 - 5.25 Dia x 6 -16mm length	$198.00

DY334	Summit Cervical Rod System	Transition Rod	3.0/4.0/3.0mm	$600.00

DY335	Summit Cervical Rod System	Dual Diameter Rod	3x150mm/4.75 - 5.5mm x 270mm	$600.00

DY336	Summit Cervical Rod System	Cross Connector	One size only	$1,100.00	$1,629.00

DY337	Summit Cervical Rod System	Open Cable Connector	One size only	$743.00

DY338	Summit Cervical Rod System	Cancellous Bone Screw	3.5-4.5mm x 12-48mm	$190.00

DY339	Summit Cervical Rod System	Mini Polyaxial Screw Standard or High	3.5mm x 12-50mm	$1,330.00	$1,923.00

DY340	Summit Cervical Rod System	Mini Polyaxial Outer Nut	One size only	$250.00

DY341	Summit Cervical Rod System	Pin Nut with Flange or No Flange	One size only	$250.00

DY342	Summit Cervical Rod System	Connectors Left or Right or Neutral	One size only	$743.00

DY343	Summit Cervical Rod System	Rod	3mm x 70-200mm	$329.00

DY344	Summit Cervical Rod System	Transverse Connector Hook	One size only	$556.00	$560.00

DY345	Summit Cervical Rod System	Transverse Connector Screw	One size only	$130.00

DY346	RECO Spinal System	Pedicale Screw	4-7mm	$841.00

DY347	RECO Spinal System	Block	4-7mm	$1,200.00

DY348	RECO Spinal System	Rod	4 or 6mm dia x 70-130mm	$220.00

Prostheses List by Category and Sponsor	Page 107 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY349	RECO Spinal System	Rod	4 or 6mm dia x 480mm Length	$402.00

DY350	RECO Spinal System	Set Screw	One size only	$79.00

DY351	RECO Spinal System	Tranverse Connector	4 or 6mm	$900.00

DY356	SB Charite Disc Prosthesis	End Plates Parallel & Oblique	1 - 5	$4,200.00

DY359	Sliding Core	-	7.5 -11.5mm, 8.5mm, 10.5mm	$730.00	$1,100.00

DY401	Monarch Monoaxial Pedicle Screw	4.75mm - 8.5mm x 25 to 80mm 	$1,004.00	$1,782.00

length

DY406	Leopard 5 Lodotic Carbon Fibre Body Fusion 	Carbon Fibre cage	7 - 18mm	$3,915.00

Device

DY407	Leopard Parallel Carbon Fibre Body Fusion 	Carbon Fibre Cage	7 - 18mm	$3,915.00	$4,200.00

Device

DY420	X-Tenz	Telescopic VBR Cage	16mm	$6,475.00	$6,689.00

DY421	X-Tenz	Telescopic VBR Cage	22mm	$6,475.00	$6,689.00

DY422	Saber Cage	PLIF Cage	Parallel/Wedge	$2,900.00

DY429	X-Tenz	Telescopic VBR Cage	26mm	$6,515.00	$6,714.00

DY430	X-Tenz	Telescopic VBR Cage	28mm	$6,515.00	$6,714.00

DY431	Expedium Spine System	Si Polyaxial Screw	5,6 or 7mm diameter x 25-55mm 	$1,330.00	$1,629.00

length

DY432	Expedium Spine System	Si Screw Set	one size	$157.00	$715.00

DY435	Expedium Spine System	Rod	5.5mm diameter x 12-48cm	$690.00

DY436	Expedium Spine System	Rod - Prelordosed	5.5mm diameter x 35-95mm length	$345.00

DY437	Expedium Spine System	Hooks (Pedicle, Reduced, Angled, Narrow, 	one size	$820.00	$1,466.00

Wide)

DY438	Expedium Spine System	Hooks (Left/Right Angled, Left/Right Offset, 	One size	$820.00	$1,466.00

Extended Body)

DY439	Expedium Spine System	Di Set Screw	one size	$157.00	$717.00

DY440	Expedium Spine System	Di Polyaxial Screw	5, 6, or 7mm diameter x 25-55mm 	$1,330.00	$1,766.00

length

DY441	Expedium Spine System	Monoaxial Screw	4.35, 5, 6, 7 or 8mm diameter x 25-	$1,004.00	$1,782.00

55mm length

DY442	Summit SI System	Polyaxial Screw - Mini Favoured Angle	3.5 or 4mm diameter x 12-48mm 	$1,330.00	$1,830.00

length

Prostheses List by Category and Sponsor	Page 108 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY443	Summit SI System	Connectors	Various	$743.00

DY444	Summit SI System	Inner Set Screw	one size	$250.00

DY447	Swift Spine System	Titanium Anterior Cervical Plate System - 	Level 1 size 15 - 29mm	$1,431.00	$2,916.00

Various size plates

DY448	Swift Spine System	Titanium Anterior Cervical Plate System - 	Level 2 size 30 - 42mm	$1,431.00	$2,916.00

various size plates

DY449	Swift Spine System	Titanium Anterior Cervical Plate System - 	Level 3 size 45 - 63mm	$1,431.00

various size plates

DY450	Swift Spine System	Titanium Anterior Cervical Plate System - 	Level 4 size 60 - 100mm	$1,431.00

various size Plates

DY451	Swift Spine System	Titanium Anterior Cervical Plate System - 	46 - 102mm	$1,431.00

Corpectomy Plate

DY452	Swift Spine System	Titanium Anterior Cervical Plate System - 	10 - 18mm	$850.00

3.8mm Self-Drilling/Tapping Screw

DY453	Swift Spine System	Titanium Anterior Cervical Plate System - 	18mm	$850.00

4.2mm Self-Drilling/Tapping Screw

DY454	Swift Spine System	Titanium Anterior Cervical Plate System - 	10 - 28mm	$850.00

3.8mm Bicortical Screw

DY455	Swift Spine System	Titanium Anterior Cervical Plate System - 	10mm	$850.00

Graft Screw

DY456	Expedium Spine System	Washers	Various	$408.00

DY458	Uniplate ACP System	Titanium Anterior Cervical 1 Level Plate	13-22mm	$1,067.00	$2,879.00

DY480	Uniplate ACP System	Titanium Anterior Cervical 2 Level Plate	28-40mm	$1,700.00	$2,878.00

DY507	Isola Paediatric System (Stainless Steel)	Side Tightening Hook - Opended/Closed	3/16" x 3.5mm - 11mm	$716.00

ev3 Australia Pty Ltd

EE009	NXT Detachable Coils	NXT Coils, Tetris	Diameter 3 -18mm/ Length 4-29 cm	$2,600.00

EE010	NXT Detachable Coils	NXT Coils, Multi Diameter	Diameter 4-8mm/ length 10-30cm	$2,266.00

EE011	NXT Detachable Coils	NXT Coils, Helix and Soft	Diameter 2-6mm/ Length 1-15cm	$1,850.00

EE012	NXT Detachable Coils	NXT Coils, Helix Fibered	Diameter 2-4mm/ Length 2-10cm	$1,850.00

EE013	NXT Detachable Coils	NXT Coils, TensionSafe (SuperSoft)	Diameter 2-5mm/ Length 1-10cm	$1,850.00

EE014	NXT Detachable Coils	NXT Coils, Fibered Cyclone	Diameter 2/3, 2/4, 2/5, 2/6mm 	$1,850.00

Length 2.2, 4.2, 6.0, 8.5cm.

Prostheses List by Category and Sponsor	Page 109 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Global Manufacturing Technology Pty Limited

GM020	Optimal Spinal System	Hooks-open & closed-pedical & laminar	Various	$745.00

GM025	Maxima/Optima Anterior Cervical Plate 	Cancellous Bone Screws	3.5 x 10mm to 20mm; 4.0 x 10mm	$190.00

System	 to 20mm

GM026	Maxima/Optima Anterior Cervical Plate 	Anterior Cervical Plates	24mm to 108mm	$1,550.00	$1,900.00

System

GM027	NeoIC (Neo Interbody Fusion Cage)	Interbody Fusion Cage	Various	$3,145.00

GM029	Optimal Spinal System	Axial/Lateral Connectors	Various	$743.00	$1,055.00

GM031	Optimal Spinal System	Traverse Link Assembly	40 to 80mm	$900.00

GM032	Optimal Spinal System	Set Screw	9 x 1.5 to 10 x 1.5mm	$155.00	$280.00

GM033	Optimal Spinal System	Rod	6 x 40 to 6 x 600mm	$450.00

GM034	Optimal Spinal System	Pedicle Screw Monoaxial Type	4 x 25 to 8 x 55mm	$900.00

GM035	Optimal Spinal System	Pedicle Screw-Poly Type	5 x 30 to 8 x 55mm	$1,250.00

GM039	Prima OCT Spinal System	Occiput Plate	One size only	$2,500.00

GM041	X Stop Interspinous Process Distraction 	Spacer assembly and Wing assembly, Ti/Peek	Size - 6mm to16mm	$4,990.00	Temporary Approval, pending review

System	 of product group

GM060	Maxima/Optima Anterior Cervical Plate 	Pedicle Screw - Mono Axial Type	4.5 mm -8.5mm Length 25mm-60mm	$900.00

System

GM061	Maxima/Optima Anterior Cervical Plate 	Rod	30mm - 100mm	$450.00

System

GM062	Maxima/Optima Anterior Cervical Plate 	Set Screw	One Size	$155.00	$280.00

System

GM063	Maxima/Optima Anterior Cervical Plate 	Traverse Link assembly	44mm - 75mm	$900.00

System

GM064	Maxima/Optima Anterior Cervical Plate 	Hooks Open & Closed - Pedicle & Laminar	6.5mm-11mm	$745.00

System

GM065	Maxima/Optima Anterior Cervical Plate 	Axial/Lateral Connections	7.5mm-30mm	$743.00

System

GM067	BacFix (Thoracolumbar System)	Anterior washer - Titanium alloy	Small, standard	$244.00

GM068	BacFix (Thoracolumbar System)	Multi axial bone screw  - Nitinol	5 - 8mm x 30 - 60mm	$1,250.00

GM069	BacFix (Thoracolumbar System)	Serrated tooth locking clip - Titanium alloy	Nominal, deep	$190.00

GM070	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 50 - 125mm	$380.00

Prostheses List by Category and Sponsor	Page 110 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GM071	BacFix (Thoracolumbar System)	Spinal rod, rigid/flex - Titanium alloy	5.5 - 6mm x 300 - 600mm	$560.00

GM072	BacFix (Thoracolumbar System)	Non-threaded wedge with serrated teeth - 	5.5 - 6mm	$200.00

Titanium alloy

GM073	BacFix (Thoracolumbar System)	Hook - Titanium alloy	6.5 - 11mm	$745.00

GM074	BacFix (Thoracolumbar System)	Smooth profile flexible angle screw - Titanium	5 - 8mm x 30 - 60mm	$720.00

alloy

GM075	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium alloy	5.5 - 6mm x 15 - 35mm	$419.00	$1,450.00

GM076	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - Titanium 	5.5 - 6mm x 39.5 - 75mm	$1,345.00	$1,670.00

alloy

GM077	AcuFix	Cancellous bone screw - Anterior cervical plate	4mm x 10 - 18mm	$190.00

system - Titanium

GM078	AcuFix	Self tapping wide root screw - Anterior cervical	4mm x 10 - 18mm	$190.00

plate system - Titanium

GM079	AcuFix	Rescue screw - Anterior cervical plate system - 	4.5mm x 10 - 18mm	$190.00

Titanium

GM080	AcuFix	1 segment SlimLine plate - Anterior cervical 	20 - 34mm	$1,220.00

plate system - Titanium

GM081	AcuFix	2 segment SlimLine plate - Anterior cervical 	34 - 54mm	$1,271.00

plate system - Titanium

GM082	AcuFix	3 segment SlimLine plate - Anterior cervical 	47 - 71mm	$1,431.00

plate system - Titanium

GM083	AcuFix	4 segment SlimLine plate - Anterior cervical 	68 - 92mm	$1,431.00

plate system - Titanium

GM084	AcuFix	2 segment Corpectomy plate - Anterior cervical	34 - 54mm	$1,360.00

plate system - Titanium

GM085	AcuFix	3 segment Corpectomy plate - Anterior cervical	53 - 77mm	$1,431.00

plate system - Titanium

GM086	AcuFix	4 segment Corpectomy plate - Anterior cervical	68 - 101mm	$1,550.00

plate system - Titanium

GM095	Optimal Spinal System	Hooks - open & closed - pedical & laminar	Various	$775.00

Global Orthopaedic Technology

GO076	Traxis (non sterile)	Titanium Interbody Implant	9-13mm	$3,000.00

GO077	Traxis Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$3,520.00

Prostheses List by Category and Sponsor	Page 111 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO078	Nex-Link	Spinal Fixation System, Open Screw Closure	4.00mm	$900.00

GO079	Nex-Link	Spinal Fixation System, Closed Screw Set 	4.0mm	$300.00

Screw

GO080	Nex-Link	Spinal Fixation System, Polyaxial Screws	3.5mmx10mm - 4.00mmx22mm	$1,250.00

GO081	Nex-Link	Spinal Fixation System, Transverse Connectors	4.00mm Rod x 25mm - 45 length	$750.00

GO084	Incompass	Thoracolumbar Fixation System, Open 	5.5mm	$300.00

Implant Closure Top

GO085	Incompass	Thoracolumbar Fixation System, Closed 	5.5mm	$300.00

Implant Set Screw

GO086	Incompass	Thoracolumbar Fixation System, Offset 	9.5 - 30mm	$800.00

Connector Open

GO087	Incompass	Thoracolumbar Fixation System, Offset 	7.5 - 30mm	$800.00

Connector Closed

GO088	Incompass	Thoracolumbar Fixation System, Polyaxial 	5.5 - 7.5	$1,250.00

Screw Open

GO089	Incompass	Thoracolumbar Fixation System, Fixed Angle 	4.5 - 8.5mm	$900.00

Screw Open

GO090	Incompass	Thoracolumbar Fixation System, Fixed Angle 	4.5 - 8.5mm	$900.00

Screw Closed

GO091	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$720.00

GO093	AcuFix	1 segment ThinLine plate	20 - 36mm	$1,271.00

GO094	AcuFix	2 segment ThinLine plate	34 - 54mm	$1,271.00

GO095	AcuFix	1 segment Ant-Cer dynamic plate	24 - 32mm	$1,271.00

GO096	AcuFix	2 segment Ant-Cer dynamic plate	34 - 54mm	$1,271.00

GO097	AcuFix	3 segment Ant-Cer dynamic plate	50 - 71mm	$1,431.00

GO098	AcuFix	4 segment Ant-Cer dynamic plate	68 - 96mm	$1,431.00

GO099	InFix Interbody Fusion System	Endplate	Small - Large	$1,110.00

GO100	InFix Interbody Fusion System	Strut	Small - Large	$1,060.00

GO101	InFix Interbody Fusion System	Endcap	8-10mm	$530.00

GO102	Pathfinder	Minimally invasive pedicle fixation system	Cannulated Polyaxial Screws 6.5 - 	$1,530.00

7.5mm

Prostheses List by Category and Sponsor	Page 112 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO103	Pathfinder	Minimally invasive pedicle fixation system	Open Implant Closure Top 5.5mm	$300.00

GO104	OctaFix	Occipital Cervical Plating System	Occipital Plate	$2,770.00

GO105	OctaFix	Occipital Cervical Plating System	Closed Screw 4mm	$1,004.00

GO106	OctaFix	Occipital Cervical Plating System	Screw Offset Connector	$743.00

GO107	OctaFix	Occipital Cervical Plating System	Primary Bone Screw 3.5mm	$880.00

GO108	OctaFix	Occipital Cervical Plating System	Bone Screw 3.5 - 4.0mm	$880.00

GO109	Cadence (non sterile)	Titanium Interbody Implant	9-15mm	$3,340.00

GO110	Cadence Peek - Optima (sterile)	Vue Radiolucent Implant	9-13mm	$3,340.00

GO111	Fortitude (non sterile)	Titanium Interbody Implant	12mm	$6,800.00

GO112	Fortitude Peek-Optima (sterile)	Vue Radiolucent Implant	12mm	$6,300.00

GO121	Incompass	Thoracolumbar Fixation System, Hooks	5.5mm	$720.00

GO122	InFix Interbody Fusion System	Strut	Small - Large	$1,060.00

Global Scientific Pty Ltd

GS001	Heyer-Schulte In Line Valve System	Anti Siphon Device	One size only	$390.00	$640.00

GS002	Spetzler Lumbar-Peritoneal Shunt System	Shunt, CSF Reservoir, In-line valve	Catheter length 80 - 105cm, 	$1,080.00

Reservoir small & large, Valve

pressure range low - high

GS003	Heyer-Schulte Pudenz Flushing Valve	With Anti Siphon Device, Pressure range low 	12, 16mm	$1,425.00

- high

GS004	Heyer-Schulte Pudenz Flushing Valve with 	Pressure range low - high	12, 16mm	$780.00

Integral Conn

GS005	Heyer-Schulte Mishler Dual Chamber Flushing	Burr-hole and flat bottom designs	Standard, mini	$1,525.00

Valve System	Pressure range low - high

GS006	Novus Hydrocephalic Shunt Kit	Pressure range low, medium	Standard, mini	$2,155.00

GS007	Heyer-Schulte Spetzler Lumbar-Peritoneal Low	-	Small, large	$425.00

Pressure Flushing Reservoir

GS010	Heyer-Schulte Connectors for Neurosurgical Use	Pudenz straight, Pudenz right angled, Pudenz 	Each in one size	$143.00

three-way (Y)

Threaded straight, Threaded right angled,

Double threaded straight

GS011	LPV Shunt System	Standard, mini, Pressure range low - high	$1,405.00

GS012	Heyer-Schulte Ommaya CSF Reservoir	Standard, side-inlet, convertible, mini	1.5 - 2.5cm and mini	$717.00

Prostheses List by Category and Sponsor	Page 113 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GS014	Edwards Barbaro Syringo Peritoneal Shunt	80 x 3.5cm 5FRT-Tube, 90cm peritoneal 	One size only	$1,445.00

reflux control catheter

Step down connector, Foltz CSF Reservoir

GS015	Heyer-Schulte Pudenz Ventricular Catheter	-	small, standard, right-angled	$185.00

GS017	Heyer-Schulte In Line Valve System	Ultra VS Cylindrical Shunt/Valve system - 	$893.00

Neonate style, Pressure range low - high

GS018	Heyer-Schulte In Line Valve System	Ultra VS Shunt Valve, Pressure low - high	small, standard	$893.00

GS133	Shunt	Components - catheter: Atrial	55cm - 60cm, Low - High pressure 	$450.00

range

GS134	Shunt	Lumbar	80cm	$1,046.00

GS135	Shunt	Peritoneal	90 - 120cm	$350.00

GS136	Shunt	Ventricular	14.5cm - 23cm	$475.00

GS137	Shunt	Pressure valve (anti-siphon device or  flushing 	Low - High pressure range	$1,885.00

valve or flush pump)

GS138	Shunt	Reservoir	Standard, Large	$390.00

GS139	Heyer Schulte Portnoy Flanged Ventricular 	Composition - silicone with tantalum 	Length 18cm, outer diameter 8mm	$475.00

Catheter	markings

GS140	Heyer Schulte Ultra VS Valve Kit Neonatal 	Comprises of silicone, kit includes valve, 	Peritoneal catheter 90cm, ventricular	$1,624.00

Style	peritoneal cather, ventricular catheter and 	 catheter 18cm

rickham style reservoir

GS141	Ultra VS Shunt Kit Standard - Heyer Schulte	Composition silicone, kits contain standard 	3.8-5.8mm diameter valve, 18cm 	$1,624.00

valve, ventricular catheter, peritoneal catheter, 	ventricular catheter, low, medium

rickham reservoir	high pressure, 120cm peritoneal

catheter

GS142	Novus Hydrocephalic Shunt - Heyer Schulte	Novus valve made from silicone/polysulfone, 	Standard size - low & medium 	$1,624.00

each valve is packed with a valve and a right 	pressure; Mini size - low & medium

angled catheter guide	 pressure

GS143	LPV Shunt System Kit - Heyer Schulte	Composition silicone, kit includes LPV valve,	Standard - low, medium, high 	$1,435.00

peritoneal catheter, ventricular catheter, right 	pressure; Mini - low, medium, high

angle catheter guide	pressure

GS144	Spetzler In Line Valve - Heyer Schulte	Composition silicone, valve with integral 	Low, Medium, High Pressure	$1,110.00

connectors

GS145	Cordis Omnishunt System, Hakim Valve Series	Hakim Valve System	Drainage Cath 110 cm, F7. Vent. 	$1,030.00

Cath 15cm, F8.

Prostheses List by Category and Sponsor	Page 114 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GS146	Cordis Standard Valve System Hydrocephalus 	Atlas Valve System	Drainage Cath 110 cm, F7. Vent. 	$1,190.00

Valves	Cath 15cm, F8.

GS147	Precision Flow-OSV II Valve System	Lumbar peritoneal OSV11-Lumboperitoneal 	Lumber Catheter 80cm, F5  	$1,725.00

System Hydrocephalus Shunt	Peritoneal Catheter 110cm, F7

GS148	Precision Flow-OSV II Valve System 	Ventricular/Atrial OSV11-Ventricular /Atrial 	Drainage Cath 110 cm, F7. 	$1,725.00

Hydrocephalus Shunt	Ventricular Catheters 7,9,13 & 15

cm

GS149	Precision Flow-OSV II Valve System	Ventricular/Peritoneal OSV11-  	Drainage Cath 110 cm, F7. 	$1,725.00

Ventricular/Peritoneal Hyrocephalus Shunt	Ventricular Catheters 7,9,13 & 15

cm

GS150	Atrial Catheter 	Components - catheter: Atrial Atrial Catheters 	Length: 46cm, F7.  OD: 2.1mm; 	$165.00

Hydrocephalux Valve Accessories	ID:1.1mm

GS151	Peritoneal Catheter	Peritoneal Catheters	Length: 91cm, F7.  OD: 2.1mm; 	$180.00

ID:1.1mm

GS193	Connectors	Silicone and Stainless Steel	Straight, right angle, Y, T	$396.00

GS194	Electa right angle guide	Silicone	One Size Only	$200.00

GS195	Cordis Omnishunt System	Silicone and Synthetic ruby	Very low to very high pressures	$775.00

GS196	Gravity Compensating Accessory	Silicone/Stainless steel	low, medium & high pressures	$880.00

GS199	DuraGen Dural Graft Matrix	Collagen	2.5 x 2.5cm	$360.00

GS200	DuraGen Dural Graft Matrix	Collagen	2.5 x 7.5cm	$545.00

GS201	DuraGen Dural Graft Matrix	Collagen	5 x 5cm	$605.00

GS202	DuraGen Dural Graft Matrix	Collagen	7.5 x 7.5cm	$1,120.00

GS203	DuraGen Dural Graft Matrix	Collagen	10 x 12.5cm	$1,890.00

GS207	Ventricular Catheter	Silicone, with and without right angle 	3-15cm, finned, straight and right 	$310.00

connectors	angle

GS208	Contour-Flex Valves	Silicone encased CSF Valve	Smal (24mm Length) or Regular 	$1,066.00

(28mm Length), low medium or

high pressure

GS209	Neonatal Shunt System	Shunt Assembly, includes separate ventricular 	Medium, low or low-low pressure	$1,335.00

catheter, integral distal catheter

GS210	Contour Flex Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, 	Small (24mm Length) or regular 	$1,335.00

silicone ventricular and peritoneal catheters	(28mm Length); low, low/medium

and medium pressure; various

catheter and valve configurations

Prostheses List by Category and Sponsor	Page 115 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GS211	Equi Flow Valves	Valve only	Small (35mm length) or Regular 	$1,285.00

(40mm length); low, low/medium

and medium pressure

GS212	Equi Flow Shunt Assemblies	CSF Shunt, includes silicone ventricular and 	Small (35mm length) or Regular 	$1,690.00

peritoneal catheters, silicone encased 	(40mm length); low, low/medium

overdrainage control valve	and medium pressure; various kit

configurations

GS213	Lumboperitoneal Shunt Assemblies	CSF LP Shunt includes: silicone catheter, 	Straight or "T" tube	$325.00

stainless steel trocar, suture tabs

GS214	Cardiac/Peritoneal Catheters	SiliconDistal Catheter, ID 1.3mm, OD 2.5mm	90cm, barium impregnated silicone 	$185.00

catheter, closed or open ended, with

or without slits

GS215	Ventricular Catheters	Silicon Ventricular Catheter	15cm - 25cm, optional flanges or 	$185.00

right angle or endoscopic tip. ID

1.3mm, OD 2.5mm

GS216	Burr Hole Valve Shunt Assemblies	Shunt Assembly: silicone encased valve, 	16mm or 12mm base; low, medium	$650.00

silicone ventricular and peritoneal catheters	 or high pressure, various kit

configurations

GS217	Siphon Limiting Device	Silicone Shunt Accessory for control of CSF 	15mm length, 4.5mm height, 	$577.00

overdrainage	10mm width

GS218	Reservoirs	Shunt component	9mm to 25mm, with or without 	$512.00

convertible outlet port, burr hole or

flat bottom style

Howmedica

HW384	Xia Spine System	Polyaxial Screw	Dia 4.5 - 8.5mm Length 25 - 60mm	$1,605.00

HW385	Xia Spine System	Monoaxial Screw	Dia 4.5 - 8.5mm Length 25 - 60mm	$1,225.00

HW386	Xia Spine System	Rod Clamp - Parallel, Axial	One size only	$996.00

HW387	Xia Spine System	Lamina Hook - Angled, Reduced, Extended, 	Large Medium, Small	$820.00	$1,375.00

Standard Blade, Narrow Blade, Offset

HW388	Xia Spine System	Pedicle Hook	Large, Small	$820.00	$1,375.00

HW389	XIA Spine System	Rod - Titanium alloy, Stainless Steel	30 - 600mm	$695.00

HW390	XIA Spine System	Cross Link	Length 20mm - 99mm	$1,050.00

HW391	Xia Spine System	Connector - Axial, Dual, Offset	4.5mm - 6mm	$996.00

HW392	Xia Spine System	Sacral Block	One size only	$1,119.00

Prostheses List by Category and Sponsor	Page 116 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW393	Xia Spine System	Bone Screw	One size only	$577.00

Johnson & Johnson Medical Pty Ltd

JJ130	Aneurysm Clips	Stainless steel alloy AVM Micro Clip	Blade length 2-9.5 mm	$270.00

JJ131	Aneurysm Clips	Stainless steel Graft Clip (with teflon graft)	Blade 2-5mm diameter, 3-7mm 	$598.00

length

JJ134	Aneurysm Clips	Stainless steel Reinforcing (booster) Clip	Blade length 2-9.5 mm	$460.00

JJ136	Aneurysm Clips	Stainless steel large clip, curved	Blade 6mm diameter, 7.5mm length	$420.00

JJ137	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 5mm length	$408.00

JJ138	Aneurysm Clips	Stainless steel large clip, right-angled	Blade 6mm diameter, 7.5-15mm 	$378.00

length

JJ139	Aneurysm Clips	Stainless steel large clip, 30 degree angle	Blade length 12mm	$424.00

JJ140	Aneurysm Clips	Stainless steel large clip, bayonet	Blade length 5-12mm	$445.00

JJ141	Aneurysm Clips	Stainless steel large clip, fenestrated	Blade 6mm diameter, 24mm length	$408.00

JJ142	Aneurysm Clips	Stainless steel large clip, fenestrated tandem	Blade 6mm diameter, 6 mm length	$378.00

JJ143	Aneurysm Clips	Stainless steel standard clip, straight to right 	4.5-10mm length	$258.00

angled

JJ144	Aneurysm Clips	Stainless steel standard clip, side angle	0.6mm diameter, 10mm length	$260.00

JJ146	Aneurysm Clips	Stainless steel standard clip, slightly curved	0.6mm diameter, 15mm length	$278.00

JJ147	Aneurysm Clips	Stainless steel standard clip, right angle	0.6mm diameter, 5.5 mm length	$269.00

JJ148	Aneurysm Clips	Stainless steel standard clip, straight to right 	0.5-0.6mm diameter, 5-15mm 	$295.00

angle	length

JJ149	Aneurysm Clips	Stainless steel standard clip, straight to curved	5-25mm length	$370.00

JJ150	Aneurysm Clips	Stainless steel standard clip, slightly curved	16mm length	$370.00

JJ151	Aneurysm Clips	Stainless steel standard clip, bayonet	9mm length	$345.00

JJ152	Aneurysm Clips	Stainless steel standard clip, bayonet	15mm length	$350.00

JJ153	Aneurysm Clips	Stainless steel standard clip, curved	10-14mm length	$365.00

JJ154	Aneurysm Clips	Stainless steel standard clip, slightly curved	8-20mm length	$408.00

JJ155	Aneurysm Clips	Stainless steel standard clip, bayonet to right 	6-25mm length	$406.00

angle

Prostheses List by Category and Sponsor	Page 117 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ156	Hakim Precision Valve System	Precision valve standard. Silicone casing & 	Peritoneal Catheter length 80 cm, 	$1,110.00

catheter; stainless steel ruby ball in cone 	Ventricular catheter length 14 cm

mechanism with fixed pressure

JJ157	Hakim Precision Valve System	Precision valve and pre-chamber. Silicone 	Peritoneal Catheter length 80 cm, 	$1,320.00

casing & catheter; stainless steel ruby ball in 	Ventricular catheter length 14 cm

cone mechanism with fixed pressure

JJ158	Hakim Programmable Valve System	Standard system. Silicone casing without 	One size only	$2,800.00

catheter; stainless steel ruby ball in cone

mechanism with variable pressure

JJ159	Hakim Programmable Valve System	Standard system. Silicone casing with catheter;	Peritoneal Catheter length 80 cm, 	$3,140.00

stainless steel ruby ball in cone mechanism 	Ventricular catheter length 14 cm

with variable pressure

JJ160	Hakim Ventricular Catheter with Bactiseal 	Silicone antibiotic impregnated catheter	Ventricular catheter length 14 cm	$675.00

Silicone

JJ161	Codman-Medos Non-programmable Valve 	Silicone fixed pressure lumber/peritoneal 	Peritoneal Catheter length 25-80cm	$375.00

System	catheter, James design

JJ162	Codman-Medos Non-programmable Valve 	Silicone fixed pressure lumber/peritoneal 	Peritoneal Catheter length 65 cm	$870.00

System	catheter, Holter design

JJ163	Hakim Ventricular and Peritoneal Catheter Set 	Silicone ventricular/peritoneal catheter	Peritoneal Catheter length 80 cm, 	$469.00

with Bactiseal Silicone	Ventricular Catheter length 15 cm

JJ164	Siphonguard CSF Control Device	PET shell anti-siphon device for shunt	One size only	$390.00

JJ165	Burr Hole Button	Stainless steel ventriculostomy reservoir	One size only	$375.00

JJ166	Burr Hole Button	Silicone or stainless steel ventriculostomy 	14mm diameter	$450.00

reservoir

JJ167	Burr Hole Button	Silicone ventriculostomy reservoir, flat bottom	One size only	$260.00

JJ168	Burr Hole Button	Silicone ventriculostomy reservoir, standard	One size only	$172.00

JJ169	Burr Hole Button	Silicone ventriculostomy reservoir, large	One size only	$355.00

JJ170	Burr Hole Button	Silicone or stainless steel ventriculostomy 	One size only	$335.00

reservoir, low profile

JJ171	Burr Hole Button	Silicone or stainless steel ventriculostomy 	24mm diameter	$400.00

reservoir

JJ217	Aneurysm Clips	Stainless steel large clip	Blade 4-6mm diameter, 5-25mm 	$378.00

length

JJ218	HOLTER Intracranial Pressure Shunt	HOLTER Ventricular Catheter, packaged 	3 - 7cm and 15cm	$149.00

sterile, silicone rubber

Prostheses List by Category and Sponsor	Page 118 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ219	Hakim Programmable Valve System	Fixed pressure hydrocephalus shunt, packaged 	One size only	$3,250.00

sterile, stainless steel and ruby valve

mechanism, silicone rubber ventricular and

peritoneal catheters.  In line or right angled

with reservoir.  Valve can be reprogrammed

non-invasively 18 pressure settings available in

10mm H20 increments.  SiphonGuard anti-

siphon device integrated into valve

mechanism.

JJ220	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, packaged 	One size only	$1,500.00

sterile, stainless steel and ruby valve

mechanism, silicone rubber ventricular and

peritoneal catheters.  In line or right angled

with reservoir.  Opening pressure  H20; Very

high 130mm, high 100mm, medium 70mm,

low 40mm, very low 10mm. With integrated

anti-siphon device.

JJ221	Hakim Precision Valve System	Fixed pressure hydrocephalus shunt, packaged 	One size only	$1,390.00

sterile, stainless steel and ruby valve

mechanism, silicone rubber ventricular and

peritoneal catheters.  In line or right angled

with reservoir.  Opening pressure  H20; Very

high 130mm, high 100mm, medium 70mm,

low 40mm, very low 10mm.

JJ225	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter, packaged 	90cm in length	$155.00

sterile, silicone

JJ226	HOLTER Intracranial Pressure Shunt	HOLTER distal peritoneal catheter Salmon, 	90cm in length	$247.00

packaged sterile, silicone

JJ227	Codman Medos Straight Ventricular Catheter	14cm, packaged sterile, silicone rubber	14cm	$149.00

JJ228	Codman Medos Connector	Codman Medos stainless steel shunt connector	One size only	$37.78

straight

JJ229	Codman Medos Peritoneal Catheter	85cm, packaged sterile, silicone rubber	85cm	$185.00

JJ244	BIOPLATE Bone screw	Titanium alloy self-drilling screws, 5 per pack,	Dia 1.9mm, length 5mm	$43.00

packaged non-sterile

JJ245	BIOPLATE Bone screw	Titanium alloy self-drilling screws, 5 per pack,	Dia 1.9mm, length 4mm	$43.00

packaged non-sterile

JJ246	BIOPLATE Bone screw	Titanium alloy self-drilling screw, 1 per pack, 	Dia 1.9mm, length 3 - 5mm	$52.00

packaged non-sterile

Prostheses List by Category and Sponsor	Page 119 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ247	BIOPLATE Bone screw	Titanium alloy self-drilling screw, packaged 	Dia 1.9mm, length 3mm	$43.00

non-sterile

JJ248	BIOPLATE Bone screw	Titanium alloy self-drilling screw, 5 per pack, 	Dia 1.5mm, length 3 - 5mm	$45.00

packaged non-sterile

JJ249	BIOPLATE Bone screw	Titanium alloy self-drilling screw, 1 per pack, 	Dia 1.5mm, length 3 - 5mm	$52.00

packaged non-sterile

JJ250	BIOPLATE Bone screw	Titanium alloy long screw, 1 per pack, 	Dia 1.9mm, length 3, 4, 5, 6, 8, 	$44.00

packaged non-sterile	10mm

JJ251	BIOPLATE Bone screw	Titanium alloy long screws, 5 per pack, 	Dia 1.9mm, length 3, 4, 5, 6, 8, 	$36.00

packaged non-sterile	10mm

JJ252	BIOPLATE Bone screw	Titanium alloy long screw, 1 per pack, 	Dia 1.5mm, length 3, 4, 5, 6, 8, 	$44.00

packaged non-sterile	10mm

JJ253	BIOPLATE Bone screw	Titanium alloy emergency screws, 5 per pack, 	Dia 1.8, length 6mm; Dia 2.3mm, 	$66.00

packaged non-sterile	length 5mm

JJ254	BIOPLATE Bone screw	Titanium alloy emergency screw, 1 per pack, 	Dia 1.8, length 6mm; Dia 2.3mm, 	$74.00

packaged non-sterile	length 5mm

JJ255	BIOPLATE Biomesh	Titanium, lattice, 48 hole, packaged non-sterile	32 x 44mm	$670.00

JJ256	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	0.4mm thickness, 60 x 60mm	$782.00

sterile

JJ257	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	0.4mm thickness, 85 x 90mm	$915.00

sterile

JJ258	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	65 x 65mm, 90 x 92mm	$915.00

sterile

JJ259	BIOPLATE Biomesh	Titanium cranial biomesh, packaged non-	0.4mm and 0.6mm thickness	$1,620.00

sterile

JJ260	BIOPLATE Biomesh	Titanium cranial biomesh 3ME, packaged non-	20 x 20cm	$3,455.00

sterile

JJ261	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO catheter, packaged sterile, silicone	91cm in length	$197.00

rubber

JJ262	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO three way connector, packaged 	One size only	$143.00

sterile, metal or plastic

JJ263	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO barium ventricular catheter, 	One size only	$154.00

packaged sterile, silicone rubber

Prostheses List by Category and Sponsor	Page 120 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ264	ACCU-FLO Intracranial Pressure shunt	ACCU-FLO right angle connector, packaged 	One size only	$69.84

sterile, metal or plastic

JJ265	ETHISORB Dura Patch	Synthetic Dura substitute, Vicryl fleece, PDS 	4 x 6cm	$133.00

foil, replaces natural dura post craniotomy, 3

units

JJ266	ETHISORB Dura Patch	Synthetic Dura substitute, Vicryl fleece, PDS 	6 x 14cm	$212.00

foil, replaces natural dura post craniotomy, 1

unit

JJ267	ETHISORB Dura Patch	Synthetic Dura substitute, Vicryl fleece, PDS 	2 x 3cm	$62.44

foil, replaces natural dura post craniotomy, 1

unit

JJ268	ETHISORB Dura Patch	Synthetic Dura substitute, Vicryl fleece, PDS 	2 x 3cm	$50.54

foil, replaces natural dura post craniotomy, 6

units

JJ269	ETHISORB Dura Patch	Synthetic Dura substitute, Vicryl fleece, PDS 	4 x 6cm	$145.00

foil, replaces natural dura post craniotomy, 1

unit

JJ270	BIOPLATE Bone plate	Titanium straight plate, 2 hole, 5 per pack, 	12mm in length	$43.00

packaged non-sterile

JJ271	BIOPLATE Bone plate	Titanium Y plate, 5 hole, packaged non-sterile	19mm	$157.00

JJ272	BIOPLATE Bone plate	Titanium T-plate, 5 hole, packaged non-sterile	16mm	$165.00

JJ273	BIOPLATE Bone plate	Titanium boxcar plate, 6 hole, packaged non-	9 x 18mm	$231.00

sterile

JJ274	BIOPLATE Bone plate	Titanium boxcar plate, 8 hole, packaged non-	11 x 25mm	$287.00

sterile

JJ275	BIOPLATE Bone plate	Titanium cranial straight plate, 2 hole, 	1.9mm	$47.00

packaged non-sterile

JJ276	BIOPLATE Bone plate	Titanium curved plate, 8 hole, packaged non-	30mm	$151.00

sterile

JJ277	BIOPLATE Bone plate	Titanium straight plate, 2 hole, packaged non-	11mm in length	$46.00

sterile

JJ278	BIOPLATE Bone plate	Titanium cranial straight plate, 16 hole, 	1.5mm and 1.9mm	$280.00

packaged non-sterile

JJ279	BIOPLATE Bone plate	Titanium cranial compression plate, 2 hole, 3 	1.5mm and 1.9mm	$45.00

per pack, packaged non-sterile

Prostheses List by Category and Sponsor	Page 121 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ280	BIOPLATE Bone plate	Titanium large boxcar plate, 4 hole, packaged 	14 x 14mm	$157.00

non-sterile

JJ281	BIOPLATE Bone plate	Titanium BIO100, 2 hole plate, 5 per pack, 	1.5mm	$26.00

packaged non-sterile

JJ282	BIOPLATE Bone plate	Titanium straight plate, 2 hole, 3 per pack, 	14mm in length	$41.00

packaged non-sterile

JJ283	BIOPLATE Bone plate	Titanium straight plate, 2 hole, packaged non-	14mm in length	$47.00

sterile

JJ284	BIOPLATE Burr hole cover	1.9mm, titanium, flexible contoured burr hole 	18mm	$176.00

cover, packaged non-sterile

JJ285	BIOPLATE Burr hole cover	1.5mm, titanium, flexible contoured burr hole 	12mm	$176.00

cover, packaged non-sterile

JJ286	BIOPLATE Burr hole cover	1.9mm, titanium, rigid contoured burr hole 	18mm	$170.00

cover, packaged non-sterile

JJ287	BIOPLATE Burr hole cover	1.5mm, titanium, rigid contoured burr hole 	12mm	$176.00

cover, packaged non-sterile

JJ288	BIOPLATE Burr hole cover	1.5mm, titanium, rigid contoured burr hole 	18mm	$182.00

cover, packaged non-sterile

JJ289	BIOPLATE Burr hole cover	Titanium, burr hole cover, 6 hole, packaged 	12mm flat	$185.00

non-sterile

JJ290	Burr hole button	Sterile, 10 per package, silicone rubber	Button length 35mm, cover 	$99.40

diameter 29mm, stem thickness

4.1mm

JJ291	Burr hole cover	Burr hole cover, sterile, 10 per package, 	Seat diameter 10mm, seat depth 6mm	$99.40

silicone rubber

JJ292	BIOPLATE Burr hole cover	1.5mm, titanium, flexible contoured burr hole 	18mm	$182.00

cover, packaged non-sterile

JJ299	BIOPLATE Burr Hole Cover	1.9mm, titanium, flexible contoured burr hole 	12mm	$172.00

cover, packaged non-sterile

JJ303	Cranioplastic Kit (Type 1)	Cranioplastic kit containing 2 complete sets.  	30grams	$240.00

Consists of 2 bags of sterile powder, 2 vials

sterile liquid, 2 sterile matrix bags

JJ436	Codman Hakim Programmable Valves	18 different pressure settings, various models	One Size Only	$2,700.00

JJ437	Codman Hakim Programmable Valves with 	18 different pressure settings and 	One Size Only	$3,250.00

Siphonguard	SIPHONGUARD technology

Prostheses List by Category and Sponsor	Page 122 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ438	Codman Hakim Precision Valves with 	features 5 operating pressures and 	Pressure settings 10, 40, 70, 100 	$1,500.00

Siphonguard, Right Angle Reservoir	SIPHONGUARD technlogy	and 130mmH2O

JJ439	Codman Hakim Precision Valve with 	features 5 operating pressures and 	Pressure settings 10, 40, 70, 100 	$1,500.00

Siphonguard, Inline Reservoir	SIPHONGUARD technology	and 130mmH2O

JJ440	Codman Hakim Precision Valve, Right Angle 	features 5 operating pressures	10, 40, 70, 100, and 130mmH2O	$1,390.00

Reservoir

JJ441	Titanium Mesh	15cm x 15cm	$420.00

JJ488	Prowler Infusion Microcatheters, Prowler 	Proprietary braid / coil reinforced technology.  	Size:  150cm - 170cm.  Distal 	$719.00

Select LPES, Prowler Select Plus, Prowler 14,	Proximal braided shaft.  Prowler Select LPES 	length:  5cm - 50cm

Prowler Select pre-shaped - Coil delivery 	infusion catheter.  Prowler Select Plus infusion

system	 catheter.  Prowler 14 infusion catheter

JJ489	Bioplate ZIP	11mm titanium alloy implant	11mm	$85.00

JJ490	Bioplate ZIP	15mm titanium alloy implant	15mm	$114.00

JJ491	Bioplate ZIP	18mm titanium alloy implant	18mm	$145.00

JJ492	BIOPLATE Sterile Packs	813573, 2-Hole straight plate and screws - 	1 kit	$397.00

1.5mm

JJ493	BIOPLATE Sterile Packs	813574, 2-Hole compression plate and screws -	1 kit	$388.00

1.5mm

JJ494	BIOPLATE Sterile Plates	813575, 2-Hole straight plate and screws - 	1 kit	$400.00

1.5mm

JJ495	BIOPLATE Sterile Packs	813576, Self drilling screws - 1.5mm	1 kit	$87.00

JJ496	BIOPLATE Sterile Packs	813577, Self Drilling Screws - 1.5mm	1 kit	$260.00

JJ497	BIOPLATE Sterile Packs	813578, X-plate and screws - 1.5mm	1 kit	$515.00

JJ498	BIOPLATE Sterile Packs	813579, 4-Hole plate and screws - 1.5mm	1 kit	$370.00

JJ499	BIOPLATE Sterile Packs	813580, 6-Hole Burr Hole cover and screws - 	1 kit	$442.00

1.5mm

JJ500	BIOPLATE Sterile Packs	813581, 2-Hole straight plate and screws - 	1 kit	$340.00

1.9mm

JJ501	BIOPLATE Sterile Packs	813582, 2-Hole compression plate and screws -	1 kit	$397.00

1.9mm

JJ502	BIOPLATE Sterile Packs	813583, 2-Hole compression plate and screws -	1 kit	$140.00

1.9mm

JJ503	BIOPLATE Sterile Packs	813584, Self drilling screws - 1.9mm	1 kit	$90.00

Prostheses List by Category and Sponsor	Page 123 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ504	BIOPLATE Sterile Packs	813585, Self Drilling Screws - 1.9mm	1 kit	$256.00

JJ505	BIOPLATE Sterile Packs	813586, X-plate and Screws - 1.9mm	1 kit	$515.00

JJ506	BIOPLATE Sterile Packs	813587, Boxcar plate and screws - 1.9mm	1 kit	$369.00

JJ507	BIOPLATE Sterile Packs	813588, 6-Hole Burr Hole Cover and Screws - 	1 kit	$442.00

1.9mm

JJ534	BIOPLATE Low Profile	Low Profile Titanium Screw	1.5mm diam, 3-5mm length	$45.00

JJ535	BIOPLATE Low Profile	Low Profile 2-hole Straight Plate	11mm	$43.00

JJ536	BIOPLATE Low Profile	Low Profile 2-hole Straight Plate	14mm	$45.00

JJ537	BIOPLATE Low Profile	Low Profile 4-hole Straight Plate	19mm	$107.00

JJ538	BIOPLATE Low Profile	Low Profile 5-hole Y Plate	18mm	$156.00

JJ539	BIOPLATE Low Profile	Low Profile 6-hole X Plate	17mm	$255.00

JJ540	BIOPLATE Low Profile	Low Profile 5-hole T Plate	15mm	$170.00

JJ541	BIOPLATE Low Profile	Low Profile 4-hole Boxcar Plate	10 x 10mm	$195.00

JJ542	BIOPLATE Low Profile	Low Profile 6-hole Narrow Boxcar Plate	8 x 17mm	$231.00

JJ543	BIOPLATE Low Profile	Low Profile 8-hole Boxcar Plate	10 x 24mm	$281.00

JJ544	BIOPLATE Low Profile	Low Profile Flex Contoured Burr Hole Cover	18mm	$182.00

JJ545	BIOPLATE Low Profile	Low Profile Flex Contoured Burr Hole Cover	12mm	$178.00

JJ546	BIOPLATE Low Profile	Low Profile Burr Hole Cover	18mm	$195.00

JJ547	BIOPLATE Low Profile	Low Profile Burr Hole Cover	12mm	$169.00

JJ569	Cougar II ALIF Cage	Anterior Lumbar Interbody FusionCage, 	Small, Medium, Large, 10 - 20mm,	$4,360.00

Carbon Fibre Reinforced Polymer (CFRP)	 5 or 10 Deg

JJ586	Expedium Uniplanar Screw	Expedium Uni-Planar Screw (Titanium)	4.35-7mm Diameter, 20- 60mm 	$1,330.00	$1,629.00

Length

LSS Surgical

LS001	SAS Spinal Advanced System	Peek-Optima Lumbar Cage	9mm t 15mm	$3,340.00

LS002	Solas Spinal System	Traverse Link Assembly	30mm - 120mm	$900.00

LS003	Solas Spinal System	Set Screw	One Size	$300.00

LS004	Solas Spinal System	Rod	40 - 400mm	$430.00

LS005	Solas Spinal System	Monoaxial Pedicle	4 x 25mm to 8 x 55mm	$900.00

LS006	Solas Spinal System	Polyaxial Pedicle	4 x 30mm to 8 x 55mm	$1,250.00

Prostheses List by Category and Sponsor	Page 124 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LS007	Solas Spinal System	Hooks Open & Closed - Pedicle and Laminar	4mm - 11mm	$800.00

LS008	Solas Spinal System	Axial/Lateral Connectors	Small to Large	$743.00

LS009	Anatomix Cervical Cage System	Vue Radiolucent Implant	Size 5 to 10	$2,357.00	$6,300.00

LS010	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System- 	Level 1 to 3,22mm to 82mm	$1,700.00	$2,700.00

Various Size Plates

LS011	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System - 	12-20mm	$225.00	$800.00

4mm Self-Drilling/Tapping Screw

LS012	Anatomix Cervical Plate System	Titanium Anterior Cervical Plate System - 	12-20mm	$225.00	$800.00

4.35mm Slef-Drilling/Tapping Screw

Medical & Optical  Instruments Australia Pty Ltd

MO244	Martin Micro Plate Osteosynthesis System	1.5mm Titanium Sterile Drill Free Flap Pack 	2 - Hole Plate x 3, 1.5 x 4mm 	$460.00	Temporary approval, pending review

Kit	Screws x 6	of product group

MO248	Martin Micro Plate Osteosynthesis system	Titanuim Cranial Fixation kit contains on 	0.6mm Profile Plate and 5mm 	$495.00

Burr Hole Cover and 5 Screws	length screws

Medical Specialties  Australia Pty Ltd

MS003	Sterile Hydrocephalic Shunts	Plastic/magnetic. Programmable valve. 	3, 8 settings	$2,700.00

Programmer kit and shunts kit.

Medtronic Australasia Pty Ltd

MC001	Kinetra Dual Channel Implantable Pulse 	Titanium, polyurethane	One size only	$15,060.00

Generator Model 7428

MC061	Medtronic IsoMed Drug Infusion Pump.	Models 8472-20-03, 8472-20-05, 8472-20-10, 	20ml, 35ml	$9,300.00

8472-20-15. Models 8472-35-05, 8472-35-10,

8472-035-15.  Titanium

MC063	Medtronic IsoMed Drug Infusion Pump	Models 8472-60-10, 8472-60-20,  8472-60-05,	60 ml	$9,750.00

8472-60-25,  8472-60-30, l 8472-60-35,

8472-60-15, l 8472-60-40 titanium

MC077	Medtronic quadripolar itrel II- 7424DBS 	DBS Unilateral: Extension kit for Deep Brain 	10-66 cm	$1,745.00

Active implantable stimulators & ancillary 	Stimulation Model 7495-51,PTFE,

equipment sterile	polyurethane,platinum,iridium, nickel alloy

MC079	Control Magnets	Model 7452 Magnet	One size only	$120.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

Prostheses List by Category and Sponsor	Page 125 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC086	Accessory Kits - Stimulator; EZ Anchor; 	3550-09 - Synergy accessory kit OR 3550-01 -	One size only	$168.00	When used in pain therapy - to be

Tunnelling Rod; Percutaneous Lead 	 Boots & anchors OR 3550-02 - Wrenches & 	funded when the patient has

Introducer; SCS & PNS Model 3550-24; DBS	screws OR 3550-03, 3550-0SCO - Screening 	undergone a multi-disciplinary

Model 3550-25;	cable OR 3550-04 - Epidural needle OR 3550-	assessment and trial of stimulation.

05 - Percutaneous extension OR 3550-06 -

Tunnelling tools; 3550-16 - Silicone rubber

anchors; 3555 - Tunneling Rod; 3550-12 -

Coil guide wire & Introducer sheaths; Silcone

rubber;

MC094	Stimulator Accessory Kit - Pisces Quad; 	Model 3550-10 revision kit. 1 x boot, 1 x 	One size only	$545.00	When used in pain therapy - to be

Pisces Z Lead Revision Kit; Pisces Quad 	twistlock anchor, 2 x silicone anchors, 1 x hex	funded when the patient has

Revision Kit; Octad Revision Kit	 wrench, 1 x epidural needle 15 gauge, 1 x 	undergone a multi-disciplinary

percutaneous extension (inline) with set 	assessment and trial of stimulation.

screws, 1 x ball-tipped (bent) 28cm stylet for

Pisces-Quad lead, 1 x ball-tipped (straight)

28cm stylet for Pisces-Quad lead, 1 x screening

cable, 1 x short stylet, 1 x tunnelling guide, 1

x tunnelling guide tip. Silicone,

polycarbonate, polyurethane, titanium,

stainless steel; 3550-22 & 3550-23 Curved

steering stylets, Epidural Needle, Guide Wire,

Straight Steering Stylets, Torque Wrench,

Percutaneous Extension, Connector Boot,

PERCUPASS II Tunneling Tool &

Tunneling Tip, Short Stylet, Twist-Lock

Screening Cable, Passing Straw, Anchors;

Model - 3550-R33 - Pisces Quad revision kit

with 33cm stylet; Model 3550-ORK - Octad

Revision Kit

MC102	Medtronic Single Octad Lead Kit	Model 3898. Materials -Silicone Rubber, 	33cm	$4,230.00	When used in pain therapy - to be

Platinum/Iridium	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

Prostheses List by Category and Sponsor	Page 126 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC104	Medtronic Pisces Quad Leads	Medtronic Pisces Quad Lead Model 3487A, 	28 - 56cm	$3,400.00	When used in pain therapy - to be

3487A-56; Pisces Quad Compact Lead Model 	funded when the patient has

3887; Pisces Quad Plus Lead Model 3888; 	undergone a multi-disciplinary

Resume II Lead Model 3587A, Resume TL 	assessment and trial of stimulation.

Lead Model 3986A; On Point In Line Model

3987A. Materials - silicone rubber,

platinum/iridium. Model 3887 - quadripolar

percutaneous lead with 4 closely spaced

electrodes at the distal end design for

delivering stimulation.

MC107	Mattrix Dual Channel System - Antenna Kit	Model 3440 DCS Antenna kit. Medical 	One size only	$173.00	When used in pain therapy - to be

antenna. External component of implantable 	funded when the patient has

Mattrix system. Polyurethane.	undergone a multi-disciplinary

assessment and trial of stimulation.

MC110	Itrel 3 System - Lead extension	Medtronic Lead Extension Kit Models 	10 - 66cm	$1,510.00	When used in pain therapy - to be

7495,7496,7498 - Materials Silicone rubber, 	funded when the patient has

Platinum/Iridium	undergone a multi-disciplinary

assessment and trial of stimulation.

MC115	Itrel 3 Implantable Pulse Generator	Model 7425, Titanium	One size only	$9,350.00	When used in pain therapy - to be

funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

MC135	Medtronic Australasia, Specify Lead Model 	DCI - Leads: Specify Lead Model 3998. (dual 	18cm x 1	$4,150.00	When used in pain therapy - to be

3998, Active Implantable Stimulators & 	lead) Materials - Silicone Rubber, 	funded when the patient has

Ancillary Equipment	Platinum/Iridium	undergone a multi-disciplinary

assessment and trial of stimulation.

MC137	Medtronic A/Asia, Synergy Dual Channel 	DCI - Pulse Generator: Synergy Dual Channel 	One size only	$17,250.00	When used in pain therapy - to be

Implantable Pulse Generator Model 7427, 	Implantable Pulse Generator Model 7427. 	funded when the patient has

Active Implantable Stimulators.	Materials - Titanium 	undergone a multi-disciplinary

assessment and trial of stimulation.

MC141	Epidural Stimulator - Leads	Verify Screening lead Model 3862, 3862-45. 	45 - 60cm	$485.00	When used in pain therapy - to be

Silicone, Platinum/Iridium	funded when the patient has

undergone a multi-disciplinary

assessment and trial of stimulation.

MC228	Soletra Model 7426 Neurostimulator	Sterility - Ethylene Oxide.  Neurostimualtor 	One size only	$9,050.00

comprised of electronic circuitry and a battery,

which are hermatically sealed in a titanium case

Prostheses List by Category and Sponsor	Page 127 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC244	Medtronic Australasia DBS Lead Model 3389,	Deep brain stimulation lead with four platinum	28 - 40cm	$4,150.00

Medtronic quadripolar Itrel II- 7424DBS, 	 iridium electrodes Models 3387 and 3389.

Active Implantable Stimulator & Ancillary 	Electrode spacing is 1.5mm apart for Model

Equipment	3387 and 0.5mm apart for Model 3389.

PTFE, polyurethane, platinum/iridium, nickel

alloy, tungsten

MC247	Patient Activators	Hand held device Models 7434 & 7435 to be 	One size only	$1,400.00	When used in pain therapy - to be

used with Itrel III and Synergy Implantable 	funded when the patient has

Pulse Generators	undergone a multi-disciplinary

assessment and trial of stimulation.

MC249	Access Therapy Controller	Handheld device used with the Kinetra and 	One size only	$1,400.00	To be funded for the initial implant

Soletra Implantable Pulse Generators	only.

MC293	Vertex Spinal System	Occipital Plate	24 - 40 mm length	$2,844.00

MC294	Vertex Spinal System	Occipital Buttons	Bolt 6 - 30 mm Length	$250.00	$575.00

MC295	Vertex Spinal System	Pre - curved rod	150 - 300 mm length	$697.00

MC296	Vertex Spinal System	Occipital Screws	 3.0 - 5.0 mm diameter, 4 - 30 mm 	$190.00	$447.00

length

MC297	Verte-Stack	Boomerang	Width 25 - 36 mm, Height 6 - 18 mm	$6,563.00

MC298	DIAM	Sterile	6 - 16 mm	$4,313.00

MC299	TiMesh	TiMesh LP	Open Door (OD) Plate	$725.00

MC305	Low Profile Impedance Extension Kit for DBS 	Silicone Rubber	25, 40, 51, 66, 95cm	$1,510.00	$2,100.00

Model 7482

MC307	Vertex Spinal System	Occipital Buttons	Nut 12mm Diameter	$508.00

MC308	TiMesh	TiMesh LP	Open Door Graft (GP) Plate	$725.00

MC309	TiMesh	TiMesh LP	French Door (FD) Plate	$725.00

MC310	TiMesh	TiMesh LP	Screw	$131.00

MC312	Octapolar Extension Model 7471	Silicone rubber	Lengths: 20, 40, 51, 66 cm	$2,000.00

MC313	Synchro Med II Pump	Model No's 8637-20 & 8637-40, Composition	20 ml & 40 ml	$16,250.00

- Titanium

MC315	Low Profile Impedance Extension Kit for SCS 	Silicone rubber	10, 25, 40, 51, 66cm	$1,510.00	$2,138.05

Model 7489

MC343	Venture Self Drilling Screws	single or multi level plate construct, titanium 	4.0mm x 8mm - 21mm ; 4.5mm x 	$190.00

alloy	8mm -21mm variable Angled

Prostheses List by Category and Sponsor	Page 128 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC344	Venture Self Drilling Screws	single or multi level plate construct, titanium 	4.0mm x 8mm - 21mm, 4.5mm x 	$190.00

alloy	8mm - 21mm Fixed Angled

MC345	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and 	20mm - 47mm	$1,271.00

Nitinol

MC346	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and 	20mm - 50mm	$1,550.00

Nitinol

MC347	Venture Self tapping Screws	Single or multi level plate construct, titanium 	4.0mm x 8mm - 21mm; 4.5mm x 	$190.00

alloy.	8mm - 21mm Variable Angled

MC348	Venture Self tapping Screws	Single or multi level plate construct, titanium 	4.0mm x 8mm - 21mm; 4.5mm x 	$190.00

alloy.	8mm - 21mm Fixed Angled

MC350	Pisces Z Quad Lead Model 3890	Material - Polyurethane (lead body), platinum-	Lead length: 28-56cm; Electrode 	$3,400.00

iridium (electrodes)	length: 3mm; Electrode spacing: 6mm

MC361	2X4 Hinged Surgical Lead model 3999	Materials: silicone rubber, platinum-iridium, 	30, 45 & 60cm	$4,305.00

polyurethane

MC369	Pisces Z Quad Compact Lead Model 3891	Material - Polyurethane (lead body), platinum-	Lead length: 25-56cm; Electrode 	$3,400.00

iridium (electrodes)	length: 3mm; Electrode spacing: 4mm

MC375	Colorado Spinal System	Colorado 2 Hook, Pedicular hook - small and 	$820.00

large, Laminar hook - small, medium and

large, Staple for pedicular hooks,

Open laminar thoracic hook, Supra laminar

median hook,

Narrow laminar - 1 size, Open laminar - 1 size

MC376	Colorado Spinal System	Colorado 2 Connector	For 5mm rod and 5.5mm rod	$743.00

MC377	Colorado Spinal System	Colorado 2 Clamp	$403.00

MC378	Pyramesh	Titanium Surgical Mesh	51 - 500mm	$4,930.00

MC379	Pyramesh	Titanium Surgical Mesh	5 - 50mm	$2,755.00

MC380	Interfix C	Carbon Cage	Diameter range from 12 - 20mm, 	$3,335.00

Length range from 20 - 29mm

MC381	Affinity Cervical Cage	-	D7 - L12 to D9 - L14	$1,949.00

MC382	Colorado Spinal System	Colorado 2 Rod	5.0mm and 5.5mm, length range 50	$444.00

- 600mm

MC384	Colorado 2	Pedicle Screw	Diameter 5.5 - 7.5 Lengths 30 - 	$1,037.00

70mm

Prostheses List by Category and Sponsor	Page 129 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC394	CD Horizon	Nut/Plug, DDT Nuts, double threaded screw 	Each in one size	$165.00

nots, plug for closed implants, threaded screw

plug

MC395	TSRH Spinal Implant System	3D -Staple, Two hole - left, right	Two pronged 16 - 36mm	$408.00

MC396	TSRH Spinal Implant System	3D - Rod	Diam 4.75 - 6.35mm, Length 	$419.00

25mm - 80cm

MC397	TSRH Spinal Implant System	3D - Hook, Offset, left, right, laminar, pedicle, 	Large - small	$745.00

Stainless steel, Titanium

MC398	TSRH Spinal Implant System	3D - Plate, Offset, connector, multi-span, sacral	Sacral 20 - 50mm, rest 0.375 - 3.75 	$743.00

inches

MC399	TSRH Spinal Implant System	3D - Nut, Eyebolt locknot, locknut 1/2 inch, 	Each in one size	$165.00

locking screws, double hex, flush break,

universal breakoff

MC400	TSRH Spinal Implant System	3D - Crosslink, Plate, multip-span plate, offset	Sacral 20 - 50mm, rest 0.375 - 3.75 	$900.00

plate, sacral plate	inches

MC401	TSRH Spinal Implant System	3D - Bolt	Small, medium, large	$745.00

MC402	CD Horizon	Pedicle Screws	Diameter 5.5 - 7.5  Lengths 25 - 	$1,037.00

80mm

MC403	Colorado Spinal System	Colorado 2 Plate	Range length 20 - 60mm	$925.00

MC404	CD Horizon	Rod, Stainless Steel, Titanium	40mm to 600mm	$419.00

MC405	TSRH Spinal Implant System	3D - Washer	One size only	$408.00

MC406	CD Horizon	Hook - various	Small, Medium or Large	$820.00

MC407	CD Horizon	Domino	3.2mm, 3.5mm, 4.5mm, 5,5mm, 	$722.00

6.35mm

MC408	CD Horizon	Crosslink, Plate, Multi-span late, Offset plate, 	60 - 200mm	$900.00

Transverse links

MC409	CD Horizon	Connector, Lateral open, lateral closed, closed 	Connector, Lateral open, lateral 	$722.00

reduction, DTT Transverse, Domino, 	closed, closed reduction - 1size,

Connecting cylinder, Closed Domino, 	DTT Transverse - 70 - 100mm,

Connecting Cylinder, Hopf screw, ilio sacral, 	Domino - 5.5 - 6.35mm

lateral, Stephanie, axial connectors

MC410	CD Horizon	Bolt, Left, Right	One size only	$1,132.00

MC411	CD Horizon	Block, Right, Left	5 - 7 mm	$1,200.00

MC412	Cornerstone SRC Cage	Staple, Carbon composite	$408.00

Prostheses List by Category and Sponsor	Page 130 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC413	Cornerstone Cage	Sterile and Non-sterile	4, 5, 6, 7, 8, 9, 10mm	$2,357.00

MC414	CD Horizon	Plate, Chopin Intrapedicular 32mm - 52mm, 	$900.00

Chopin plate 32 - 36mm

MC416	Novus System	ALIF II	10-16mm	$4,375.00

MC417	Orfil	Stainless Steel - Wire Spool	1-350mm	$361.00

MC418	Atlantis Anterior Cervical Plate	Plate	19.0mm -  47.5mm	$1,271.00

MC419	Atlantis Anterior Cervical Plate	Plate	50.0 - 60.0mm	$1,271.00

MC420	Atlantis Anterior Cervical Plate	Plate	62.5 -   77.5mm	$1,431.00

MC421	Atlantis Anterior Cervical Plate	Plate	80.0 -   95.0mm	$1,550.00

MC422	Atlantis Anterior Cervical Plate	Plate	100.0 - 110.0mm	$1,550.00

MC423	Atlantis	Fixed Angle Cancellous Screw	10-20mm	$190.00

MC424	Atlantis	Variable Angle Cancellous Screw	10-20mm	$195.00

MC425	Dynalok	Breakoff Nut	One size only	$123.00

MC426	Dynalok	Crosslink Plate	3cm - 16 cm	$806.00

MC427	Dynalok	Long Post Bolt	30 - 55mm	$595.00

MC428	Dynalok	Short Post Bolt	30 - 55mm	$595.00

MC429	Dynalok	Offset, Straight, Extended Connector	5.5 - 6.35mm	$293.00

MC430	Dynalok	Washer / Stabiliser	One size only	$224.00

MC431	Colorado Spinal System	Staple	One size only	$408.00

MC432	Colorado Spinal System	Sacral Plate 	Left/right	$1,271.00	$1,487.00

MC433	Colorado Spinal System	Ilio-Sacral Plate	Left/right	$1,271.00	$1,487.00

MC434	Colorado Spinal System	Connector for Sacral & Ilio-Sacral Plate	One size only	$743.00

MC435	Colorado Spinal System	Break off Nut	One size only	$165.00

MC436	CD-Horizon	C-ring	One size only	$156.00

MC437	CD-Horizon	Staples	One size only	$408.00

MC438	Novus System	Plif Cage: Cage	12 - 50mm	$3,115.00

MC439	CD Horizon	Cannulated Pedicle Screw	20mm - 80mm	$1,330.00	$1,650.00

MC440	CD Horizon	Eclipse:  4.5mm Rod	40 - 600mm	$414.00

MC441	Atlas Cable System (SS)	Single w/crimp and bar	One size only	$347.00

Prostheses List by Category and Sponsor	Page 131 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC442	Atlas Cable System (SS)	Double w/2 crimps	One size only	$381.00

MC443	Atlas Cable System (SS)	Crimp	One size only	$133.00

MC444	Atlas Cable System (Ti)	Single (loop end) w/crimp	One size only	$412.00

MC445	Atlas Cable System (Ti)	Double w/2 crimps	One size only	$464.00

MC446	Atlas Cable System (Ti)	Crimp	One size only	$159.00

MC447	UCSS	Cortical Screws 	30 - 50mm	$657.00

MC448	UCSS	Cortical Lag Screws	36 - 50mm	$637.00

MC449	Pyramesh	Angled	25 - 150mm	$3,605.00

MC450	Pyramesh	Curved	130mm	$3,605.00

MC451	Pyramesh	Ovoid	8 - 70mm	$3,605.00

MC452	Telamon	Cage	8 - 16mm	$3,304.00

MC453	Telamon	Titanium Cage	8 - 16mm	$2,610.00

MC454	Telamon	Contour, Carbon Cage	8 - 16mm	$3,335.00

MC455	Telamon	Contour, Titanium Cage	8 - 16mm	$2,610.00

MC456	Interfix 	Titanium Cage	12 x 20mm - 24 x 50mm	$2,410.00

MC457	LordoTec Cage (LT-Cage)	Titanium,  PEEK	18-28mm	$2,610.00

MC458	TSRH 3D 	Screw	30-55mm	$759.00

MC459	TSRH 3D 	Extended Post Screw	30-50mm	$775.00

MC460	TSRH 3D 	Connector, 5.5mm	6-12mm	$743.00

MC461	Union	Carbon Cage	10 - 16mm	$3,476.00

MC462	Zephir	Cancellous Screw	13-17mm	$195.00

MC463	Zephir	Anterior Cervical Plate	20-70mm	$1,220.00

MC464	Z Plate II	Plate	4cm	$3,510.00

MC465	Z Plate II	Plate	5cm	$3,510.00

MC466	Z Plate II	Plate	6cm	$3,510.00

MC467	Z Plate II	Plate	7cm	$3,510.00

MC468	Z Plate II	Plate	8cm	$3,510.00

MC469	Z Plate II	Plate	9cm	$3,510.00

MC470	Z Plate II	Plate	10cm	$3,510.00

Prostheses List by Category and Sponsor	Page 132 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC471	Z Plate II	Plate	11cm	$3,510.00

MC472	Z Plate II	Plate	12cm	$3,510.00

MC473	Z Plate II	Plate	13cm	$3,510.00

MC474	Z Plate II	Bolt & Nut	30mm - 55mm	$675.00

MC475	Z Plate II	Non Breakoff Nut	One size only	$159.00

MC476	Z Plate II	Screw	20 - 60mm	$713.00

MC477	Z Plate II	Slot Washer	One size only	$224.00

MC478	Axis Cervical Plating System	Plate	11mm	$818.00

MC479	Axis Cervical Plating System	Plate	13mm	$930.00

MC480	Axis Cervical Plating System	Plate	15mm	$1,044.00

MC481	Axis Cervical Plating System	Plate	Longer than 15mm	$1,166.00

MC482	Axis Cervical Plating System	Screw: Cancellous	6 - 24mm	$104.00

MC483	Axis Cervical Plating System	Screw: Cortical	26 - 54mm	$144.00

MC484	Orion Anterior Cervical System	Convergent or Divergent Plates	21.5 - 47.5mm	$1,334.00

MC485	Orion Anterior Cervical System	Convergent or Divergent Plates	50 - 60mm	$1,450.00

MC486	Orion Anterior Cervical System	Convergent or Divergent Plates	62.5 - 77.5mm	$1,566.00

MC487	Orion Anterior Cervical System	Convergent or Divergent Plates	80 - 95mm	$1,653.00

MC488	Orion Anterior Cervical System	Convergent or Divergent Plates	100 - 110mm	$1,740.00

MC489	Orion Anterior Cervical System	Cancellous Screw	10 - 17mm	$190.00

MC490	Orion Anterior Cervical System	Locking screw	One size only	$126.36

MC491	TSRH Titanium Spinal Implant System:	Washer	One size only	$44.00

MC492	Apofix	Support Rod	One size only	$223.00

MC493	Apofix	Clamp Single Rod	Upper/lower	$398.00

MC494	Tenor	Pedicle Screw (incl Self Breaking Nuts)	30 - 55mm	$623.00

MC495	Tenor	Spondylolisthesis Screw - Ti	30 - 55mm	$820.00

MC496	Tenor	Transverse Links - Titanium	40-100mm	$743.00

MC497	Tenor	Rod (5.5mm) - Titanium 	40-180mm	$388.00

MC498	Tenor	Monoclamps - Titanium	One size only	$403.00

MC499	Tenor	Dual Clamps - Titanium 	One size only	$403.00

Prostheses List by Category and Sponsor	Page 133 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC500	Tenor	Offset Clamps - Titanium 	One size only	$403.00

MC501	CD Horizon	Multi-Axial screw (Stainless Steel)	25 - 80mm	$1,329.00

MC502	CD Horizon	Multi-axial screw (Titanium)	25 - 80mm	$1,330.00

MC503	CD Horizon	Fixed Angle Screw (Titanium)	25 - 90mm	$1,037.00

MC504	CD Horizon	Breakoff Set Screw	25 - 55mm	$155.00

MC505	Orfil	L-Shaped Rods	5-510mm	$392.00

MC506	Orfil	Double Pearl-Tipped Wires	1 - 350mm	$97.00

MC507	LIFT/VERTE-SPAN	Vertebral Body Cages	Short - Extra Long	$4,200.00

MC508	Novus Systems	Cervical Cages	10-16mm	$2,030.00

MC509	CD Occipital-Cervical  Loop	CD Occipital-Cervical  Loop	One size only	$3,206.00

MC510	Premier Anterior Cervical Plate System	Plates	23 - 90mm	$1,431.00	$1,814.00

MC511	Premier Anterior Cervical Plate System	Screws	10 20mm	$190.00

MC529	Hydrocephalus Shunt	Lumbar peritoneal	84cm	$450.00

MC530	Hydrocephalus Shunt	Ventricular/Atrial, CSF Flow Control Shunts, 	38cm-90cm	$450.00

Cont Small Valve

MC531	Hydrocephalus Shunt	Ventricular/Peritoneal. CSF Flow Control 	12mm-90cm	$893.00

Valves, BioGlide Contoured, Ventriculostomy

Kit-E, Neonatal Delta Snap Shunt

MC532	Hydrocephalus Shunt	With Hydrostatic Valve, Delta 	12mm-90cm	$1,110.00

Valves/Shunts/BioGlide, Vent Catheters

MC533	Shunt: Components catheter	Ventricular Catheter, CSF Catheter	1.3 - 35cm	$149.00

MC534	Pressure valve (anti-siphon device or  flushing 	Neonatal Reservior, CSF Lumbo Peritoneal	2 - 90cm	$720.00

valve or flush pump)

MC535	Pressure valve (anti-siphon device or  flushing 	Reservoir, CSF Vent Reservoir, Snap 	6 - 90mm	$1,790.00

valve or flush pump)	Assembly Reservoir

MC536	Valves, Hydrocephalic	Strata Adjustable Delta Valve	12 -16mm	$715.00

MC537	Danek Unit Rod System	Scoliosis Rods	Widths 3/16", 5.5mm or 6.35mm; 	$1,427.00

lengths 25 x 45cm

MC538	Tenor	Nuts/plug	One size only	$195.00

MC539	Pyramesh	End ring/cap	10 - 25mm	$1,325.00

Prostheses List by Category and Sponsor	Page 134 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC540	LIFT/ VERTE-SPAN	End plates (caps)	Angulation: -8 - 7 degrees; left and 	$2,297.00

right

MC542	Vertex Spinal System	Connector	Length 10 - 13mm; diameter 3.2 - 	$722.00	$1,385.00

6.35mm

MC543	Vertex Spinal System	Plate/rod	80 - 240mm	$2,960.00

MC544	Vertex Spinal System	Rod	80 - 240mm	$500.00	$516.00

MC545	Vertex Spinal System	Screws	Dia 3.5 - 4.0mm; length 6 - 24mm	$1,330.00	$1,590.00

MC546	Vertex Spinal System	Set screw	One size only	$155.00

MC577	R90 Spacer	Spinal Implant (Peek)	Height: 7mm - 16mm, Lordosis: 6 	$3,690.00

degrees - 18 degrees, Length: 18 -

27mm

MC578	Union CC System	Cage	6mm - 12mm,  0 - 8 degrees	$3,690.00

MC579	CD Horizon	Spondylolisthesis Screw	Diameter: 4.5 - 7.5, Length: 25mm 	$1,500.00	$1,600.00

- 50mm

MC581	Invisx Locks	Invisx polymer cranial fixation system	Single pack	$95.00

MC582	Invisx Locks	Invisx polymer cranial fixation system	2 pack	$175.00

MC583	CSF - Ventricular Catheters PSM Range	Non metallic latex free. Barium impregnated, 	ID 1.3mm OD 2.5mm Length 	$212.00

include stainless steel stylet.  Model Nos 	15cm, 23cm; ID 1.2mm OD 2.1mm

41101, 41115, 41207, 41103, 41308, 	 Length 15cm, 23cm

Proximal ventricular catheter.

MC584	CSF - Distal Catheters	Non metallic and latex free, Models 	Distal cardiac/peritoneal catheters ID	$185.00

43418,43103,43111,43209,43522,43551,2721	 1.3mm OD 2.5mm Length 90cm,

1	96cm, 110cm, 120cm, ID 1.2mm,

OD 2.1mm, Length 90cm, 75cm,

58cm

MC585	Maverick Artificial Disc	Cobalt Chrome	8mm - 14mm	$9,764.00	$12,600.00

MC586	CD Horizon Sextant Percutaneous Cannulated 	Cannulated titanium percutaneous multi axial 	Dia 3.5 to 9.5mm, Length 15 to 	$1,530.00

Multi Axial Screw	screw	65mm

MC587	CD Horizon Spinal System	Percutaneous Rod	5.5 x 25mm to 5.5 x 350mm	$927.00

MC589	Affinity Anterior cervical cage System	The Affinity Cage is constructed of titanium 	6 x 12mm; 6 x 14mm; 7 x 12mm; 	$1,949.00

alloy - kit includes trials, reamers and inserters.	7 x 14mm; 8 x 12mm; 8 x 14mm;

9 x 12mm; 9 x 14mm; 10 x 12mm;

10 x 14mm; 11 x 12mm; 11 x

14mm; 12 x 12mm; 12 x 14mm

Prostheses List by Category and Sponsor	Page 135 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC590	Vertex Reconstruction System Crosslink Bar	Composition -  titanium alloy. The system 	One size only	$900.00	$1,040.00

allows for the adaptation of components from

other Sofamor Danek systems to provide for

constructs tailor made for individual cases.

MC591	Vertex Reconstructive System Laminar Hook	Composition -  titanium alloy	4.5mm / 5.5mm	$820.00

MC592	CD Horizon System	SMA Staple	Length 4-10mm	$1,374.00

MC593	CD Horizon System	SMA Staple	Length 12-18mm	$1,772.00

MC594	Mastergraft	Calcium Phosphate Ceramic Granules	5cc Vial	$883.00

MC595	Mastergraft	Calcium Phosphate Ceramic Granules	10cc Vial	$1,340.00

MC596	Mastergraft	Calcium Phosphate Ceramic Granules	15cc Vial	$1,850.00

MC597	Mastergraft	Calcium Phosphate Ceramic Granules	30cc Vial	$2,825.00

MC598	Equation Spinal System	Screw	Length 25-55mm	$1,037.00

MC599	Equation Spinal System	Rod	Length 50-300mm	$419.00

MC600	Equation Spinal System	Plate	Length 40-200mm	$520.00

MC601	Equation Spinal System	Set Screw	One Size Only	$155.00

MC602	Union	Verte-Stack	Flat Small 12-20mm	$2,675.00

MC603	Union	Verte-Stack	Lordotic Small 12-20mm	$2,665.00

MC604	Union	Verte-Stack	Flat Large 12-20mm	$2,665.00

MC605	Union	Verte-Stack	Lordotic Large 12-20mm	$2,665.00

MC606	Union	Verte-Stack	Centre Piece Small 5-40mm	$4,614.00

MC607	Union	Verte-Stack	Centre Piece Large 5-40mm	$4,614.00

MC608	TSRH 3D	Connector	Small, Medium, Large	$1,020.00

MC609	CD Horizon Spinal System	Percutaneous Set Screw	25 - 60mm	$157.00	$250.00

MC610	Z Plate System	Vantage plates and Screws; Thoracic Plate	3.5 - 8cm	$2,450.00	$3,700.00

MC611	Z Plate System	Vantage Plates and Screws; Thoracic Screw	5.5 x 15-50mm	$647.00

MC612	Z Plate System	Vantage Plates and Screws; ATL Plate	4 - 10cm	$3,168.00	$4,800.00

MC613	Z Plate System	Vantage Plates and Screws; ATL Screw	6.5 x 30-55mm	$624.00

MC614	Z Plate System	Vantage Plates and Screws; Staple 	One Size Only	$1,112.00

(rostral/caudal)

MC615	Z Plate System	Vantage Plates and Screws; Lock Nut	One Size Only	$195.00

Prostheses List by Category and Sponsor	Page 136 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC616	Atlantis System	Element Express Kit Includes Plate, 4 Screws, 	Plate 23 - 45mm	$2,000.00	$2,968.00

Screwdriver Shaft, Screwdriver Handle

MC617	Nucleus Replacement	Spinal Disc	Thickness 5-25mm, Diameter 10-	$7,800.00

50mm

MC618	Medishield	Medishield is a co-polmer gel composed of 	3cc Syringe	$1,300.00	Temporary approval - funded when

carboxymethylcellulose and polyethylene.	clinical indications are present.

MC626	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	1.8mm x 3-8mm	$82.00

MC627	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	100mm x 100mm x 0.75mm	$1,940.00

MC628	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	60mm x 80mm x 0.75mm	$1,230.00

MC629	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	50mm x 50mm 0.75mm	$985.00

MC630	Macropore FRP (fast resorbing polymer)	Polylactide and Polyglycolide polymer	25mm x 25mm x 0.75mm	$500.00

MC631	Macropore FRP (fast resorbing polymer) screw	Polylactide and Polyglycolide polymer	2.1mm x 3-8mm	$100.00

MC632	Verte-Stack	XS Centre Piece. Stackable Corpectomy 	Height 5-50mm	$4,841.00

Device.

MC633	Verte-Stack	Capstone Cage. Vertebral Body Spacer	Length: 22-36mm	$3,763.00

MC634	CD Horizon	X10 Crosslink	Multi-Span Plate: 25-81mm	$1,100.00	$2,990.00

MC635	CD Horizon	Legacy In-Line Connector	Length 40-110mm	$722.00	$1,600.00

MC636	CD Horizon	Eclipse Dual Head Screws	20-60mm	$1,037.00

MC637	CD Horizon	Spire Plate	One size	$1,398.00

MC638	Peritoneal Catheter PSM range with Bioglide	Translucent silicone elastomer with Barium 	60-90cm	$255.00

impregnated stripe.  Catheter surface bonded

with Hydrogel.

MC639	Ventricular Catheter PSM range with Bioglide	Translucent silicone elastomer with Barium 	15-23cm	$249.00

impregnated stripe. Catheter surface bonded

with Hydrogel.

MC640	Strata Shunt, Unitised	Adjustable CSF valve with five symmetric 	8-13.5cm x 9-120cm	$2,560.00

performance level steps.  Includes strata valve,

pre-attached ventricular catheter, and a pre-

attached peritoneal catheter. Right Angle Clip.

Disposable Quick Release Ventricular Catheter

Introducer. Disposable Subcutaneous Catheter

Passer. Tuohy-Borst Adapter.

Prostheses List by Category and Sponsor	Page 137 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC641	Strata Valve Unitised with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal 	One size only	$2,700.00

plastic base. Silicone elastomer dome.

MC642	Strata Valve Assembly with Bioglide PSM 	CSF Flow Valves. Polypropylene and acetal 	One size	$2,038.00	$2,730.00

range	plastic base. Silicone elastomer dome.

MC643	Strata Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal 	13-16mm x 35-47mm	$2,350.00

plastic base. Silicone elastomer dome.

MC644	Strata Valve NSC (non siphon control) PSM 	CSF Flow Valve. Polypropylene and acetal 	13-16mm x 23-32mm (0.5-2.0)	$2,020.00

range	plastic base. Silicone elastomer dome.

MC645	Strata Valve Unitised NSC (non siphon 	Adjustable CSF valve with five symmetric 	8-120cm	$2,406.00

control) PSM range	performance level steps. Includes a strata valve,

pre-attached ventricular catheter, and a pre-

attached peritoneal catheter. Right Angle Clip.

Disposable Quick Release Ventricular Catheter

Introducer. Disposable Subcutaneous Catheter

Passer. Tuohy-Borst Adapter. Polypropylene

and acetal plastic base. Silicone elastomer

dome.

MC646	Strata Valve Assembly NSC (non siphon 	Adjustable CSF valve with five symmetrical 	One size	$2,245.00

control) PSM range	performance level steps. Includes a strata valve,

an integral distal peritoneal catheter and

catheter passer, and a female leur adaptor and

prefill tubing. Polypropylene and acetal plastic

base. Silicone elastomer dome.

MC647	Delta Valve with Bioglide PSM range	CSF Flow Valve. Polypropylene and acetal 	36-40mm x 9-20mm (0.5-2.0)	$1,500.00

plastic base. Silicone elastomer dome. Surface

of valve bonded with hydrogel (Bioglide

surface modification).

MC648	Delta Valve Unitised with Bioglide PSM 	CSF Flow Valves. Polypropylene and acetal 	8-13.5cm x 90-120cm (0.5-2.0)	$1,990.00

range	plastic base. Silicone elastomer dome.

Unitised system includes the valve, integral

ventricular and peritoneal catheter (all

components connected). Surface of valve

bonded with hydrogel (Bioglide surface

modification).

Prostheses List by Category and Sponsor	Page 138 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC649	Delta Shunt Unitised	Delta valve is a fixed pressure CSF valve, 	Delta Unitised Shunt small (Distal 	$1,725.00

available in four performance levels. Delta 	65cm-90cm, ventricular 11cm) - 0.5,

Unitised shunt includes a delta valve, pre-	 1.0, 1.5 and 2.0. Delta Unitised

attached ventricular catheter, and a pre-attached 	Shunt regular (Distal 90cm,

peritoneal catheter. Right Angle Clip. 	ventricular catheter 13cm) - 0.5, 1.0,

Disposable Quick Release Ventricular Catheter 	 1.5 and 2.0

Introducer.

MC650	Delta Shunt Assembly	Delta valve is a fixed CSF pressure valve, 	90-120cm (0.5 - 2.0)	$1,560.00

available in four performance levels. Includes

an Integral (distal) Peritoneal Catheter,

Disposable Peritoneal Catheter Passer, Female

Luer Adapter and Prefill Tubing.

MC651	Delta Valve Assembly with Bioglide PSM 	CSF Flow Valves. Polypropylene and acetal 	90-120cm (0.5, 1.0, 1.5, 2.0)	$1,775.00

range	plastic base. Silicone elastomer dome.

Assembly system includes the valve, integral

peritoneal catheter, female luer adapter and

prefill tubing. Surface of the valve bonded with

hydrogel (Bioglide surface modification).

MC652	Strata Shunt Assembly	Adjustable CSF valve with five symmetric 	90-120cm	$2,406.00

performance level steps. The assembly includes

an Integrated (distal) Peritoneal Catheter.

Disposable Peritoneal Catheter Passer. Female

Luer Adapter and Prefill tubing.

MC653	Xantus	Xantus cover Plate and Set Screw	40mm - 100mm Length in 4mm 	$605.00	$1,271.00

increments

MC654	Engage	Breakoff Set Screw	one size only	$155.00

MC655	Xantus	Xantus Plate	40mm -100mm length in 4mm 	$2,675.00

increments

MC656	Pyramid	Pyramid Bone Screws	6.5mm Diameter, 20 -60mm length 	$420.00

in 5mm increments

MC657	Pyramid	Pyramid Cover Plate and Set Screw	17mm - 35mm length in 2 mm 	$605.00	$1,271.00

increments

MC658	Engage	Bolt	5.5 to 8.5mm diameter	$1,260.00

MC659	Silo	Screw	4.5 - 8.5mm diameter	$1,037.00	$1,480.00

MC660	Mastergraft	Matrix	5cc	$883.00

MC661	Pyramid	Pyramid Plate	17mm - 35mm	$2,025.00	$2,675.00

Prostheses List by Category and Sponsor	Page 139 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC662	Mastergraft	Matrix	20cc	$2,086.00

MC663	Mastergraft	Matrix	10cc	$1,340.00

MC664	Xantus	Xantus Bone Screws	6.5mm Diameter, 20 - 60mm length	$420.00

in 5mm increments

MC665	Engage	Connector	Small, Medium, Large	$722.00

MC666	CD Horizon	Legacy lliac Screw	6.5mm to 8.5mm Diameter	$1,320.00

MC667	SiLo	Set Screw	One Size only	$155.00

MC668	CD Horizon	Legacy lliac Lateral Connector	20mm and 30mm Length	$743.00

MC671	BCP	Biphasic Calcium Phosphate Reabsorbable 	20cc	$1,700.00

Graft Supplement

MC672	Engage	Washer	6.35mm	$224.00

MC673	Verte-Stack	Perimeter Cage	Extra Small, Small, Medium, 	$6,563.00

Large, Extra Large

MC674	CD Horizon	Legacy set Screw	one size only	$155.00	$250.00

MC675	CD Horizon	Legacy Screw	Diameter 4.0 - 9.5mm	$1,330.00	$1,480.00

MC676	SiLo	Lateral Connector	10-40mm	$735.00

MC677	SiLo	Hook	Right, left, front	$820.00

MC686	Pyramesh Cleat	Titanium Mesh	10mm - 25mm	$1,325.00

MC687	Neurostimulation System - Accessory Kits	Lead Accessory Plug and Closed Boot Kit 	$168.00

Model 3550-29

MC688	Neurostimulation System - Extensions	1 x 8 Synergy Extension Kit Model 7472; 1 x 	20, 40 & 60cm	$2,000.00

8 Extension Kit Model 37081

MC689	Neurostimulation System - Lead Revision Kits	Octad Lead Revision Kits Model 3550-26 & 	30 & 45cm; 60 & 75cm	$540.00

3550-27

MC690	Neurostimulation System - Octad Leads	Octad Standard Lead Kit without Percutaneous	45, 60 & 75cm	$4,370.00

Extension Model 3777,

MC691	Restore Rechargeable Neurostimulation 	Implantable Neurostimulator Model 37711	Dimensions: 65 x 49 x 15mm	$21,000.00

System

MC692	Restore Rechargeable Neurostimulation 	External Patient Recharger System Model 	one size only	$3,000.00

System	37752

MC693	Restore Rechargeable Neurostimulation 	External Patient Programmer Model 37742	One size only	$1,346.00

System

Prostheses List by Category and Sponsor	Page 140 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC694	Restore Rechargeable Neurostimulation 	External Patient Programmer Antenna Model 	One size only	$178.00

System	37092

MC704	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and 	111mm - 150mm	$1,550.00

Nitinol

MC705	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and 	91mm - 110mm	$1,595.00	$2,000.00

Nitinol

MC706	Venture Anterior Cervical Plate	Single or multi level plate, titanium alloy and 	51mm - 90mm	$1,431.00	$2,100.00

Nitinol

MC707	Danek Unit Rod System	Scoliosis S-Rods	Widths 5.5 - 6.35mm; left and right	$1,427.00

MC708	CD Horizon	X10 Crosslink	Fixed Plate: 16-31mm	$900.00	$1,300.00

MC710	Neurostimulation System - Octad Leads	Octad Standard Lead Kit with Percutaneous 	45, 60 & 75cm	$4,230.00

extension model 3877

MC711	Neurostimulation System - Octad Leads	Octad Compact Lead Kit without Percutaneous	45, 60 & 75cm	$4,230.00

Extension Model 3778

MC712	Neurostimulation System - Octad Leads	Octad Compact Lead Kit with Percutaneous 	45, 60 & 75cm	$4,230.00

Extension Model 3878

MC716	Intrathecal Catheter	Model 8731 Radiopaque silicone rubber, 	Length 104.1cm	$820.00	$950.00

titanium

MC717	Intrathecal Catheter	Proximal Revision Kit Model 8596 	Length 66.0cm	$500.00

Radiopaque silicone rubber

MC718	Intrathecal Catheter	Distal Revision Kit Model 8598 Radiopaque 	Length 38.1cm	$500.00

silicone rubber

MC723	Vertex Spinal System	Occipital Buttons	Nut 12mm Diameter	$508.00

MC724	Colorado Spinal System	Colorado 2 Hook, Pedicular hook - small and 	$820.00

large, Laminar hook - small, medium and

large, Staple for pedicular hooks,

Closed laminar thoracic hook, Supra laminar

median hook,

Narrow laminar - 1 size, Closed laminar - 1 size

MC725	Telamon	Cage	8 - 16mm	$3,335.00

MC731	Titan Anchor	Silicone with titanium insert	One size only	$168.00

MC733	Quadripolar Stretch-Coil Extensions	Model 37083 Single, Silver and Silicone 	20cm - 60cm	$1,948.00	$2,500.00

Rubber

Prostheses List by Category and Sponsor	Page 141 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC734	Quadripolar Stretch-Coil Extensions	Model 37082 Bifurcated, Silver and Silicone 	20cm - 60cm	$2,135.00	$3,500.00

Rubber

MC735	Rivulet	Ventricular Catheter	15cm - 23cm	$310.00

MC736	Vertex Max Cannulated Screw	Posterior cannulated cervical screw	50-56mm Diameter 4.0mm	$1,530.00

MC737	CD Horizon Engage Plate	Engage Plate	3.5-5.5cm	$1,400.00

MC738	CD Horizon Engage Plate	Engage Plate	6.0-7.5cm	$1,700.00

MC739	CD Horizon Engage Plate	Engage Plate	8.0-10cm	$1,700.00

N Stenning  & Co Pty  Ltd

NG035	MicroPlex Coil System	Kit includes delivery pusher, introducer sheath,	Coil Size 10, 18 - Loop Diameter 2-	$1,505.00	$1,745.80

MCS complex coil	14mm, 16,18,20mm, Length 1-

4cm, 6-13cm, 15-21cm, 23-24cm,

26-28cm, 30-34cm, 38-39cm, 43-

44cm, 49-50cm

NG038	MicroPlex Coil System; Hydrocoil System	MCS Helical Coils Soft; MCS 	$1,505.00	$1,745.80

Helical Coil Regular

NG039	MicroPlex Coil System; Hydrocoil System	HES Helical Coils Hydrocoils	2mm Diameter x 3cm Length to 	$1,854.00	$2,088.00

3mm Diameter x 7cm Length

NG040	MicroPlex Coil System; Hydrocoil System	HES Helical Coils Hydrocoils	4mm Diameter x 5cm Length to 	$2,266.00	$2,552.00

5mm Diameter x 10cm Length

NG041	MicroPlex Coil System, Hydrocoil System	HES Helical Coils Hydrocoils	5mm Diameter x 15cm Length to 	$2,600.00

20mm Diameter x 20cm Length

National Surgical Corporation Pty Ltd

NI143	Medicon Aneurysm Clips	Aneurysym clips titanium, standard titanium, 	Large	$310.00

stainless steel

Nuvasive (Aust/NZ) Pty Ltd

NV001	SpheRx	Cannulated Fixed Axis Screw	4.5 - 8.5mm diameter	$1,004.00

25 - 65mm length

NV002	SpheRx	Cannulated Lock Screw	one size	$157.00

NV003	SpheRx	Transverse X-Connector	45 - 100mm	$900.00	$2,990.00

NV004	SpheRx	Hooks	one size	$820.00

NV005	Triad Facet Screw	Cannulated	3.5 - 4.5mm diameter	$500.00

20-70mm length

NV006	Triad Facet Screw	Washer	One size	$140.00	$400.00

Prostheses List by Category and Sponsor	Page 142 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NV007	Gradient Cervical Plates	Bone Screw	4.0 - 4.7mm diameter	$190.00

10 - 20mm length

NV008	Gradient Cervical Plates	Titanium Anterior Plate	11 - 110mm	$1,450.00

NV009	Gradient Cervical Plates	Slotted Hole/Round Cover assembly	one size	$120.00

NV010	CoRoent	Cervical Cage	small	$2,357.00	$3,300.00

NV011	CoRoent	PLIF cage	LN, LT	$2,357.00	$3,700.00

NV012	CoRoent	TLIF cage	LW, LC	$2,357.00	$6,500.00

NV013	CoRoent	XLIF cage	XL	$2,357.00	$6,500.00

NV014	CoRoent	ALIF cage	XLR	$2,357.00	$6,500.00

NV015	Titanium Mesh	Oval/Flat/Long/Round	10mm - 16mm Diameter, 6mm - 	$2,755.00	$4,130.00

14mm Length

NV016	Titanium Mesh	Oval/Flat/Long/Round	10mm - 16mm Diameter, 15mm - 	$3,605.00	$6,070.00

90mm Length

NV017	Titanium Mesh	Oval/Flat/Long/Round	20mm + Diameter, 30mm - 90mm 	$3,605.00	$6,320.00

Length

Orthotech Pty Ltd

OH033	Synergy Spinal System	Rods	5cm - 14cm	$430.00

OH034	Synergy Spinal System	Rods	30 - 60cm	$673.00

OH035	Synergy Spinal System	Sliders	4.75 - 6.35mm dia	$356.00

OH036	Synergy Spinal System	Hex Nut / Cap Nut	3mm	$360.00

OH037	Synergy Spinal System	Open/Closed Screws	5.5 to 8.0mm dia	$1,004.00

OH038	Synergy Spinal System	Open/Closed Offset Hooks	4mm	$745.00

OH039	Synergy Spinal System	Open/Closed Hooks Pedicle/Laminar	4.75 - 6.35mm dia	$745.00

OH040	Synergy Spinal System	Adjustable Transverse Connector With 	3 - 6cm	$980.00

Rod/Clamp

OH041	Synergy Spinal System	Fixed Transverse Connectors	10.5 - 31.5mm	$980.00

OH042	Synergy Spinal System	Lateral Connectors (Closed Rod)	4.75 - 6.35mm	$824.00

OH043	Synergy Spinal System	Point/Double Hex Set Screw	4.75 - 6.35mm	$360.00

OH044	Synergy Spinal System	C-Ring	4.75 - 6.35mm	$260.00

OH046	Synergy Spinal System	Washers Single/Double	16mm - 21mm	$1,040.00

OH047	Synergy Spinal System	Variable Locking Screws	6.5 - 7mm	$850.00

Prostheses List by Category and Sponsor	Page 143 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH048	Synergy Spinal System	Variable Locking Screw Seat	6.35mm	$375.00

OH049	Synergy Spinal System	Variable Locking Screw Nut	13.8mm	$330.00

OH050	Synergy Spinal System	Variable Locking Screw Reduction Seat	6.35mm	$566.00

OH051	Synergy Spinal System	Iliac Screw	6.0 - 10.0mm	$1,010.00

OH052	Interpore Bone Plate System	TPS Bone Plate	20 - 56cm	$3,100.00

OH053	Interpore Bone Plate System	TPS Screw	14 - 22mm	$600.00

OH054	Interpore Bone Plate System	TPS Locked Nut	3mm	$173.00	$500.00

OH058	Synergy Spinal System	Growth Rod	30 - 60cm	$1,345.00

OH063	Anterior Cervical Plate System	Titanium Locking Plate	20 - 140mm	$2,040.00

OH064	Anterior Cervical Plate System	Titanium Cancellous Bone Screw	4 - 20mm	$210.00

OH123	GEO Structure Vertebral Cage - Alif	3 dimensional titanium intervertebral cage	One size only	$3,900.00

OH128	Anterior Lumbar Cage	Titanium or PEEK	Height 2 - 20mm	$3,900.00

OH129	Posterior Lumbar Cage	Titanium or PEEK	Height 7 - 20mm	$3,690.00

OH130	Non-Fusion Spine Stabilising Device	Titanium or PEEK	Height 8 - 16mm	$5,000.00

OH131	Fidji Cervical Cage	12 x 15, 12 x 17, 14 x 17, 14 x 19	$2,200.00

OH166	Mendec Spine	Bone Cement	Cement	$1,900.00

OH171	Mendec Spine	Bone Cement	Cement Kit	$2,000.00

OH174	Omega 21 Spine Fixation System	Screw, Self Tapping, 4.75mm, 5.5mm, 	25mm - 65mm	$1,000.00

6.35mm, 7.5mm, 8.5mm diameter

OH175	Omega 21 Spine Fixation System	Connection Rod, Titanium	105-155mm	$520.00

OH176	Omega 21 Spine Fixation System	Simple Coupling, Slotted; Titanium	One size only	$715.00

OH177	Omega 21 Spine Fixation System	Multidirectional Coupling, Slotted; Titanium	One size only	$800.00

OH178	Omega 21 Spine Fixation System	Screw, Spondylolisthesis, 4.75mm, 5.5mm, 	25mm - 65mm	$1,480.00

6.35mm, 7.5mm diameter

OH179	Omega 21 Spine Fixation System	Connection Rod, Titanium	165-255mm	$800.00

OH180	Omega 21 Spine Fixation System	Connection Rod, Titanium	35-95mm	$520.00

OH181	Spinelink Spinal Fixation System	Polydirectional Screws, Titanium	(5.5,6.5,7.5, 8.5mm) x (35-60mm)	$1,050.00

OH182	Spinelink Spinal Fixation System	Lock Nut, Titanium	Standard or Extended	$360.00

OH183	Spinelink Spinal Fixation System	Link, Standard or Reverse, Ti	21mm - 78mm	$1,056.00

OH184	Spinelink Spinal Fixation System	Space Washer, Titanium	One size only	$374.00

Prostheses List by Category and Sponsor	Page 144 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH185	Spinelink Spinal Fixation System	End Cap, Titanium	One size only	$360.00

OH186	OMEGA 21 Spine Fixation System	Multidirection Coupling, Titanium	One size only	$780.00

OH187	OMEGA 21 Spine Fixation System	Rods, Titanium	40mm, 60mm, 80mm	$874.00

OH188	OMEGA 21 Spine Fixation System	Locking Nut, Titanium	One size only	$360.00

OH189	OMEGA 21 Spine Fixation System	Transverse Rod Connector , Titanium	One size only	$800.00

OH190	Omega 21 Spine Fixation System	Screw, Expandable, 5.5mm, 6.35mm, 7mm, 	25mm - 65mm	$1,480.00

8mm

OH191	Omega 21 Spine Fixation System	Hook titanium - Pedicle/Lt & Rt 	6, 8, 10mm	$845.00

Angle/Wide/Narrow/Reduced

OH192	Spinelink Spinal Fixation System	Link, Telescoping, Transverse, Ti	40-59mm, 59-90mm	$900.00

OH194	Array Spinal System	Titanium Alloy Modular Spinal System - 	5.5mm x 510mm	$700.00

Alloy rod

OH195	Array Spinal System	Titanium Alloy Modular Spinal System - Pre-	5.5mm x 30 - 100mm	$600.00

Bent Rod

OH196	Array Spinal System	Titanium Alloy Modular Spinal System - set 	one size	$260.00

screws

OH197	Array Spinal System	Titanium Alloy Modular Spinal System - 	Large, Medium, Small, Xsmall, 	$900.00	$950.00

cross connector	24mm, 22mm, 20mm, 18mm, 16mm

OH198	Array Spinal System	Titanium Alloy Modular Spinal System - 	one size	$845.00

laminar hook and pedicle hook

OH204	Altius Occipito-Cervico-Thoracic (OCT) System	Locking and CAP Nuts	one size only	$400.00

OH205	Altius Occipito-Cervico-Thoracic (OCT) System	Domino Adjustable CC Left & Right	One size only	$420.00

OH206	Altius Occipito-Cervico-Thoracic (OCT) System	Connector	15, 30,  45 L&R	$600.00

OH207	Altius Occipito-Cervico-Thoracic (OCT) System	Screws	8mm to 32mm	$472.00

OH208	Altius Occipito-Cervico-Thoracic (OCT) System	Hook and OC Screws	Hook:  12mm to 14mm (L&R), OC	$925.00

Screws: 6mm to 20mm

OH209	Altius Occipito-Cervico-Thoracic (OCT) System	TI Occipital Plate	35-45mm, 40-50mm, 45-55mm	$2,600.00

Prostheses List by Category and Sponsor	Page 145 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH210	Array Spinal System	Titanium Alloy Modular Spinal System - 	5.5 - 7.5mm x 30 - 55mm	$1,110.00

fixed screw

OH211	Array Spinal System	Titanium Alloy Modular Spinal System - 	5.5 - 7.5mm x 30 - 55mm	$1,260.00

multiaxial screw

OH240	Vuelock (Anterior Cervical Plate)	Vuelock (Anterior Cervical Plate)	Level 1-4, 12mm - 92mm	$1,040.00

OH241	Vuelock (Anterior Cervical Plate)	Vuelock Bone Screws	12mm - 16mm	$225.00

OH244	Synergy Spinal System	Infant Hooks	4.75mm	$772.00

OH253	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) 	Screws/ Revision Screws - dia 	$270.00

fixation screws	4.4mm, length 11 - 18mm

OH254	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2-part) fixation 	Screws/Revision Screws - dia 	$744.00

screws	4.4mm, length 11 - 18mm - Pack of

3

OH255	Hartshill	Cancellous bone screws for 	6.5mm diam - 25 - 30mm length, 	$140.00

Horseshoes/STALIF each	5.5mm diam - 25 - 30mm length

OH256	Cancellous Screws	For use with Stalif Implants	5.5mm x 25mm (for use with 37mm	$380.00

Stalif), 6.5mm x 30mm (for use

with 41/45mm Stalif), 6.5mm x

25mm (for use with 41/45mm

Stalif). Pack of 4 screws.

OH257	Stalif	Interbody Spinal Fusion Implant: 	37mm x 11, 13, 15mm; 41mm x 	$5,036.00

Retroperitoneal/Transperitoneal	11, 13, 15mm; 45mm x 11, 13,

15mm; 37mm x 17mm, 41mm x

17mm, 45mm x 17mm

OH258	Songer cable system	Double loop titanium spinal cable plus crimps	One size only	$464.00

OH259	Songer Cable System - 2 Crimps	Titanium	One size only	$189.00

OH260	Hartshill	Wire (packet 10) stainless steel	1.2mm diam & 0.9mm diam	$412.00	$580.00

OH261	OGP posterior lumbar rgid scrw fixation 	OGP clamp	10, 12, 14, 16, 18mm	$1,386.00

system

OH262	OGP posterior lumbar rigid screw fixation 	OGP pedicle screw	6.5 x 35mm, 6.5 x 40mm, 6.5 x 	$270.00

system	45mm

OH263	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2 - part) 	Plates - width 13mm, Height 4mm -	$1,190.00

fixation screws	 9mm, width 17mm, height 4mm -

9mm

OH264	Hartshill: Ransford	Occipito-cervical - Titanium loop	100 degree 9mm - 20mm	$2,000.00	$3,250.00

OH265	Hartshill: Ransford	Extra long cross linked - titanium loop	100 degree 45cm x 15mm	$2,500.00	$5,250.00

Prostheses List by Category and Sponsor	Page 146 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH266	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam 3-5cm length	$825.00

OH267	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam 6 - 8cm length	$1,055.00

OH268	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam 9 - 11cm length	$1,273.00

OH269	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam 12 - 14cm length	$1,427.00

OH270	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 15 - 19cm length	$1,900.00

fusion system

OH271	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 20 - 24cm length	$2,250.00

fusion system

OH272	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 25 - 30cm length	$2,650.00

fusion system

OH273	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 31 - 36cm length	$2,900.00

fusion system

OH274	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 37 - 44cm length	$3,300.00

fusion system

OH301	Obelisc vertebral body replacement	Centre Piece	diameter - 20mm, height 20-28mm	$4,200.00	$4,500.00

Made from titanium.

diameter - 20mm, height 25-37mm

diameter - 20mm, height 32-47mm

OH302	Obelisc vertebral body replacement	End Piece	diameter - 20mm, angle 0°	$650.00

Made from titanium.	diameter - 20mm, angle 5°

diameter - 20mm, angle 10°

diameter - 24mm, angle 0°

diameter - 24mm, angle 5°

diameter - 24mm, angle 10°

diameter - 26mm, angle 0°

diameter - 26mm, angle 5°

diameter - 26mm, angle 10°

Prostheses List by Category and Sponsor	Page 147 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH303	ADD / ADDplus	Addplus is a winged anterior distraction device	ADDplus, diameter 12mm, height 	$2,155.00	$4,500.00

and is also used for vertebral column 	13-18mm. 6°

replacement which can be used for the anterior 	ADDplus, diameter 12mm, height

cervical column and for the cervico-thoracic 	17-26mm. 6°

transition. The Adplus effects the 	ADDplus, diameter 12mm, height

reconstruction, support and stabilization of the 	25-41mm. 6°

anterior column.The fixation on the vertebral 	ADDplus, diameter 12mm, height

bodies is effected by means of screws from the 	40-65mm. 6°

osmium system, with a monocortical as well

as a biocortial screw anchoring being possible.

The additional wings prevent a migration as

well as possible sinking in of the implant. The

ADDplus is made from titanium alloy.

OH304	ADD / ADDplus	Cancellous bone screw, titanium. The 	length = 12,14,16,18,20,24,26mm	$300.00	$450.00

cancellous bone screw is used for the

biocortical fixation. The outer diameter is

4mm.

OH305	ADD / ADDplus	Osmium Screw including bolt, titanium. The 	length = 14, 16, 18mm with outer 	$157.00	$450.00

osmium screw is a two-component system 	diameter of 5mm

consisting of a screw and a bolt. Expansion of

the screw is achieved by inserting the bolt.

Hyper-expansion of the screw is not possible.

OH306	Topaz	Cancellous bone screws, titanium used for the 	daimeter - 6.5mm, length  - 25mm	$300.00	$450.00

fixation

OH307	Universal Clamp	Locking Screw	$157.00	$500.00

OH308	Cosmic implant system	Cosmic Cross Links - titanium Bonit coating	cosmic transversal stabilizer, drop 	$900.00	$1,300.00

on left

cosmic transversal stabilizer, drop

on right

OH309	Cosmic implant system	Cosmic Locking Screw - titanium	one size	$157.00	$450.00

OH310	Cosmic implant system	Cosmic Cap - titanium	one size	$448.00	$500.00

OH311	Cosmic implant system	Cosmic Rod (40,50,60,70,80mm) - titanium	diameter - 6.25mm, length - 40mm	$697.00

diameter - 6.25mm, length - 50mm

diameter - 6.25mm, length - 60mm

Prostheses List by Category and Sponsor	Page 148 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH312	Cosmic implant system	Cosmic Rod (100, 120, 200mm)- titanium	diameter - 6.25mm, length - 100mm	$697.00

diameter - 6.25mm, length - 120mm

diameter - 6.25mm, length - 200mm

Scient'x Australia

SX001	Isobar TTL	Monoaxial Screw	D: 4.5 - 8mm, L: 25 - 50mm	$1,037.00

SX002	Isobar TTL	Polyaxial Screw	D: 4.5 - 8mm, L: 30 - 55mm	$1,600.00

SX003	Isobar TTL	Rod	L: 45-450mm	$419.00

SX004	Isobar TTL	Nut	Blocker, Hemispherical	$400.00	$800.00

SX005	Isobar TTL	Clamp	Snap-on, Short, Long and 	$835.00	$870.00

Monobloc

SX006	Isobar TTL	Hooks	Small, Large, offset	$820.00

SX007	Antelys	Cage	H: 9-15mm	$2,750.00

SX008	Antelys	Plate	H: 19-23mm	$1,271.00

SX009	Antelys	Screw	D: 5mm, L: 32.5 to 50mm	$225.00	$450.00

SX010	PCB Plate-Cage	Titanium cervical plate-cage	L: 14-16mm, W: 12-15mm, Cage 	$3,000.00

Height: 4.5-8mm, Plate Height: 23-

29mm

SX011	Stella	Anterior cervical plate - titanium	L: 21-121mm	$1,550.00

SX012	Stella	Screw	D: 4-4.5mm, L: 12-20mm	$190.00

SX013	CC-CO Cages	PEEK Polymer	L: 23.5mm, W: 10-13.5mm, H: 8-	$2,750.00

14mm

SX014	CBK Cage	PEEK	L: 15mm, W: 13mm, H: 4.5-9mm	$2,120.00

SX015	Easys	Connector Bar - titanium	L: 40-100mm	$700.00	Short rod

SX016	Easys	Straddler - titanium alloy	one size	$900.00

SX017	Bonex	Block	L:5.5 - 50mm	$1,700.00	$2,700.00

SX018	Bonex	Granules	10cc	$1,340.00	$2,500.00

SX019	Bonex	Granules	2cc	$800.00

Stryker Australia Pty Ltd

SK426	Cortoss Vertebral Augmentation Kit	Cortoss Cement 10cc, Delivery Gun,  Mix 	10cc	$2,200.00

Tips, Percutaneous Administration Kit

Prostheses List by Category and Sponsor	Page 149 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK448	VLIFT	Vertebral Body Replacement System, DIS 	18-22mm x 20-37mm	$4,300.00	$6,574.00

Implant

SK459	Flexicore	Lumbar Intervertebal disc	35 - 40mm x 11 - 18mm	$9,764.00	$12,600.00

ST002	Diapason Millenium - Long Arm Sacral Screw	Titanium Alloy	40-60mm length	$1,171.00

ST042	Diapason Millenium - Thoracic Screw, 5mm, 	Titanium Alloy	5,5.5, 6.7 & 7.7mm diameter. 30-	$910.00

5.5mm, 6.7mm & 7.7mm	60mm length

ST048	Diapason Millenium - Sacral Screw, 8mm or 	Titanium Alloy	8mm length	$1,004.00

9mm

ST057	Diapason Millenium - Long Arm Lumbar Screw	Titanium Alloy	6.7mm diameter; 30-60mm length	$1,045.00

ST685	Dimso/Stryker Implants Diapason	Screw - short arm + ball ring titanium, 	5, 5.5, 6.7, 7.7, 8, 9mm by 30-	$742.00

thoracic, lumbar, sacral	60mm with 5mm increment

ST687	Dimso/Stryker Implants Diapason	Screw -long arm	5.5, 6.7, 7.7mm by 30-60mm by 	$879.00

5mm increment

ST689	Dimso/Stryker Implants Diapason	Transverse - Domino titanium	One size only	$570.00

ST690	Dimso/Stryker Implants Diapason	Transverse rod union titanium	10-50mm	$320.00

ST691	Dimso/Stryker Implants Diapason	Transverse ball links (set of 2) titanium	One size only	$950.00

ST693	Dimso/Stryker Implants Diapason	Transverse - transverse connector titanium, 	One size only	$445.00

TLC connector

ST694	Dimso/Stryker Implants Diapason	Transverse - transverse bar titanium	50-90mm	$392.00

ST695	Dimso/Stryker Implants Diapason	Rods titanium	40-210mm	$419.00	$695.00

ST696	Dimso/Stryker Implants Diapason	Hook - non offset titanium, narrow, wide, 	One size only	$820.00	$1,100.00

straight, oblique, lumbar

ST697	Dimso/Stryker Implants Diapason	Hook - offset titanium,  thoracic - left, right	Small, Large	$820.00	$1,100.00

ST708	Dimso/Stryker Connector 	Offset sacral connector titanium	One size only	$743.00

ST709	Dimso/Stryker Connector 	Offset connector  titanium	One size only	$642.00

ST711	PEEK Interbody Cages	Peek lumbar cages poly ether ether ketone 0, 4 	Size 7-18mm	$2,375.00

& 8 degree

ST712	PEEK Interbody Cages	Solis cages poly ether ether ketone	12/5-12/7 and 14/5-14/7	$2,243.00

ST893	Stabilis	Frame: Frontal and Oblique	11 - 17mm  0, 4 and 8 degrees	$3,690.00

ST896	Stabilis	BGDU	11mm - 17mm	$1,060.00

ST914	Reflex Anterior Cervical Plate - Screw	Titanium, locking	Dia 4mm lengths 10 - 14mm	$250.00	$255.00

Prostheses List by Category and Sponsor	Page 150 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST915	Reflex Anterior Cervical Plate - Screw	Titanium, locking	Dia 4mm Length 16 - 22mm	$250.00	$255.00

ST916	Reflex Anterior Cervical Plate - Screw	Titanium, locking	Dia 4.5mm  Length 12 - 22mm	$250.00	$255.00

ST917	Reflex Anterior Cervical Plate System	Titanium, locking	1 Level size, 12 - 22mm	$1,221.00	$1,350.00

ST918	Reflex Anterior Cervical Plate System	Titanium, locking	2 Level size, 24 - 46mm	$1,271.00	$1,350.00

ST919	Reflex Anterior Cervical Plate System	Titanium, locking	3 Level size, 39 - 69mm	$1,431.00	$1,500.00

ST920	Reflex Anterior Cervical Plate System	Titanium, locking	4 Level size, 60 - 84mm	$1,431.00	$1,500.00

Stryker Australia Pty Ltd (2)

SK080	Xia Spine System	Multi Axial Connector	Monobloc, Small, Standard 24mm -	$630.00

50mm

SK093	Xia Spine System	Rod	4.5 - 6mm x 40mm -130mm	$419.00	$750.00

SK112	XIA/Oasys Spine System	Buttress thread locking nut	3.5mm - 6mm	$155.00

SK222	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Hook, Standard Short; Hook, 	$820.00	$1,375.00

Standard Tall; Hook, Offset, Right;

Hook Offset, Left

SK223	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Cortical Plate screw Size 3.5mm 	$190.00	$215.00

(Length 6mm-24mm in 2mm

increments); Cortical Plate screw

Size 4.0mm (Length 6mm-24mm in

2mm increments); Cortical Plate

screw Size 4.0mm (Length 30mm-

54mm in 4mm increments)

SK224	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	3.5mm Rod (Length 80mm); 	$491.00

3.5mm Rod (Length 120mm);

3.5mm Rod (Length 240mm)

SK225	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Cortical Polyaxial screw Size 	$1,330.00	$1,605.00

3.5mm Length 10mm-24mm (in

2mm increments); Cortical

Polyaxial screw Size 4.0mm Length

10mm-26mm (in 2mm increments);

Cortical Polyaxial screw Size

4.0mm Length 26mm-46mm (in

4mm increments)

SK226	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Occiput Plate; One level Plate; Two	$1,545.00	$1,585.00

level Plate; Multi level Plate

SK227	Oasys-Occipito Cervico Thoracic System	Ti-6A1-4V	Transverse Connector; Offset 	$900.00	$996.00

Connector; Rod to Rod Connector

Prostheses List by Category and Sponsor	Page 151 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK241	Xia Spinal System	Titanium or Stainless Steel Cross Connector	15-20mm	$720.00

SK242	Xia Spinal System	Titanium or Stainless Steel	Single Hole Staple; Dual Hole 	$408.00	$420.00

Staples (Caudal/Rostral) - Small,

Medium, Large

SK249	Maps Spinal Fixation System	Titanium - Long Post Screw	Diameter - 6.50mm, 7.50mm 	$1,025.00	$1,090.00

(Length 40-50mm)

SK250	Maps Spinal Fixation System	Titanium - Offset Connector, Two Step 	Offset Connector - Small, Medium, 	$743.00

Locking Connector, Variable Offset Connector	Large

SK251	Maps Spinal Fixation System	Titanium - Standard Screw	Diam 4.75mm Length 25-50mm, 	$1,025.00	$1,090.00

Diam 5.75mm Length 25-55mm,

Diam 6.75 Length 25-60mm, Diam

7.75mm Length 25-60mm, Diam

8.75 Length 30-55mm

SK252	Spiral Radius 90D	Titanium Locking Cap	One Size Only	$56.00

SK253	Spiral Radius 90D	Titanium	Variable Cross Connector - Long, 	$900.00

Medium Short; Fixed Cross

Connector - 10-30mm

SK254	Spiral Radius 90D	Titanium - Hook: Oblique, Lamina, Thoracic, 	Oblique - Left & Right; Lamina - 	$820.00	$900.00

Pedicle, Offset	Large, Extended Medium, Medium,

Wide Medium, Extended Small,

Small, Wide Small; Pedicle - Large

& Small; Offset - Left & Right 5-

10mm

SK309	Spiral Radius 90D	Locking Screw - Titanium	Diameter 6.75mm Length 30-50mm	$577.00

SK311	Spiral Radius 90D	Non Hex Rods; Spinal Rod with Hex; Spinal 	Diameter 5.5mm Length 40-	$350.00

Rod with Sacral Eye - Titanium	120mm; Diameter 5.5mm Length

50-600mm; Diameter 5.5mm

Length 200-400mm

SK312	Spiral Radius 90D	Standard Screw - Titanium	Diameter 4.75mm Length 25-	$1,025.00

50mm, Diameter 5.75mm Length

25-55mm, Diameter 6.75mm

Length 25-60mm, Diameter

7.75mm Length 25-60mm,

Diameter 8.75mm Length 30-55mm

Prostheses List by Category and Sponsor	Page 152 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK313	Spiral Radius 90D	Multi Angle Screw - Titanium	Diameter 4.75mm Length 25-	$1,330.00	$1,500.00

50mm, Diameter 5.75mm Length

25-55mm, Diameter 6.75mm

Length 25-60mm, Diameter

7.75mm Length 25-60mm

SK338	VBOSS/VLIFT	Titanium	Available from 10 to 25mm in 	$3,605.00	$4,600.00

Diameter and from 8 to 120mm in

Length

SK339	VLIFT	End cap	Sizes 18 to 22mm	$1,110.00

SK370	Universal Neuro	NeuroClip	1.5mm	$193.00

SK424	VBOSS	End cap	Sizes 10 to 25mm	$1,110.00

SK425	VBOSS/VLIFT	Titanium	Available from 10 to 25mm in 	$3,605.00	$4,600.00

Diameter and from 8 to 120mm in

Length

Stryker Australia Pty Ltd (3)

SR038	Techtonix	Plate, titanium	22mm-58mm	$1,820.00

SR039	Techtonix System	Screw, titanium	5-6mm x 25mm-60mm	$595.00

SR042	Xia Precision System	Screw, Cannulated, Multi Axial, Titanium	5.5mm - 7.5mm x 35mm - 55mm	$1,530.00	$1,700.00

SR050	AVS TL Peek Spacer System	Transforaminal Lumbar Interbody Fusion cage,	7-18mm x 25--30mm. 0-4 degree	$3,690.00	$4,880.00

PEEK

Surgical House

SU001	Songer Cable System - 2 Crimps	Titanium	One size only	$189.00

SU002	Rod 3.5mm CVD	Titanium alloy; component of the Olerud 	120mm	$419.00

Cervical System

SU003	Rod 3.5mm CVD	Titanium alloy; component of the Olerud 	40mm	$419.00

Cervical System

SU004	Rod 3.5mm CVD	Titanium alloy; component of the Olerud 	80mm	$419.00

Cervical System

SU071	OGP posterior lumbar rigid screw fixation 	OGP pedicle screw	6.5 x 35mm , 6.5 x 40mm, 6.5 x 	$270.00

system	45mm

SU072	OGP posterior lumbar rigid screw fixation 	OGP clamp	10,12,14,16,18mm	$1,386.00

system

SU074	Olerud spinal system: Threaded rod 	Hook/screw & rod spinal system component	35mm - 180mm x 7mm	$492.00

SU077	Cross bar clamp	Hook/screw & rod spinal system component	For 7mm rod, for 6mm rod	$1,500.00

Prostheses List by Category and Sponsor	Page 153 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU078	Cross bar	Hook/screw & rod spinal system component	30,45 & 60mm	$900.00

SU082	Double loop	Hook/screw & rod spinal system component	Left & right, 3.5 & 5.0mm	$630.00

SU083	Rod straight 40mm	Hook/screw & rod Spinal system component	3.5mm diam	$419.00

SU084	Rod straight 80mm	Hook/screw & rod spinal system component	3.5mm diam	$419.00

SU085	Rod straight 120mm	Hook/screw & rod spinal system component	3.5mm diam	$419.00

SU086	U-Rod 40mm	Hook/screw & rod spinal system component	3.5mm diam	$1,345.00

SU087	U-Rod 80mm	Hook/screw & rod spinal system component	3.5mm diam	$1,427.00

SU088	U-Rod 120mm	Hook/screw & rod spinal system component	3.5mm diam	$1,427.00

SU089	Occiput rod 120mm	Hook/screw & rod spinal system component	3.5mm diam	$2,888.00

SU090	Screw link  	Hook/screw & rod spinal system component	0 degrees, 15 degrees, 30 degrees	$252.00

SU091	Bone screw; Olerud Bone Screw	Hook/screw & rod spinal system component; 	3.5 & 4mm diam, leng 16-65mm; 	$600.00

Olerud Bone Screw - Titanium, cannulated and	Cannulated: Diameter 3.5, 4.0mm

non-cannulated	Length 45 - 60mm, Non-cannulated:

Diameter 3.5, 4.0 Length 16 -

65mm

SU092	Occiput screw	Hook/screw & rod spinal system component	4mm diam, length14-18 mm	$515.00

SU093	Lamina hook short	Hook/screw & rod spinal system component, 	Short & long	$504.00

left & right

SU094	Lamina compression hook	Hook/screw & rod spinal system component	c1-claw	$504.00

SU095	Songer cable system 	Double loop titanium spinal cable plus crimps	One size only	$464.00

SU096	Hartshill: Ransford	Occipito-cervical - titanium loop	100 degree 9mm-20mm	$2,000.00	$3,250.00

SU097	Hartshill: Ransford	Extra long cross linked - titanium loop	100 degree 45cm x 15mm	$2,500.00	$5,250.00

SU098	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam 3-5cm length	$825.00

SU099	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam  6-8cm length	$1,055.00

SU100	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam  9-11cm length	$1,273.00

SU101	Hartshill Rectangle	Stainless steel posterior lumbar fusion system	5mm diam  12-14cm length	$1,427.00

SU102	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 15-19cm length	$1,900.00

fusion system

SU103	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 20-24cm length	$2,250.00

fusion system

SU104	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 25-30cm length	$2,650.00

fusion system

Prostheses List by Category and Sponsor	Page 154 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU105	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam  31-36cm length	$2,900.00

fusion system

SU106	Hartshill Rectangle	Stainless steel posterior thoracic/thoracolumbar	6mm diam 37-44cm length	$3,300.00

fusion system

SU110	Hartshill	Wire (packet 10)  stainless steel	1.2mm diam  & 0.9mm diam	$412.00	$580.00

SU112	Hartshill	Cancellous bone screws for 	6.5mm diam  - 25-30mm length, 	$140.00

Horseshoes/STALIF each	5.5mm diam - 25-30mm length

SU152	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2-part) fixation 	Plates - width 13mm, height 4mm -	$1,190.00

screws	 9mm  width 17mm, height 4mm -

9mm

SU153	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2-part) fixation 	Screws/Revision Screws - dia 	$270.00

screws	4.4mm, length 11 - 18mm

SU171	Cancellous Screws	For use with Stalif Implants	5.5mm x 25mm (for use with 37mm	$380.00

Stalif), 6.5mm x 30mm (for use

with 41/45mm Stalif), 6.5mm x

25mm (for use with 41/45mm

Stalif). Pack of 4 screws.

SU172	Stalif	Interbody Spinal Fusion Implant:  	37mm x 11, 13, 15mm; 41mm x 	$5,036.00

Retroperitoneal/Transperitoneal	11, 13, 15mm; 45mm x 11, 13,

15mm; 37mm x 17mm, 41mm x

17mm, 45mm x 17mm

SU173	Intext Cervical Plate/Intext Screws	Intext cervical plate, including (2-part) fixation 	Screws/Revision Screws - dia 	$744.00

screws	4.4mm, length 11 - 18mm - Pack of

3

SU198	Olerud ME-Connector	Titanium. For polyaxial connection of Olerud 	for use with 3mm and 4mm Olerud 	$743.00

cervical pedicle screws to rod, claws etc for 	screws

fixation of the cervical spine.

SU199	Olerud PF Blocks	Titanium, Threaded or Non-threaded, 0, 10, 	To suit 7mm Olerud PF Rods	$1,200.00

13mm offset

SU200	Olerud Pedicle Screw	Titanium	Diameter 4, 5, 6, 7mm Length 45 - 	$577.00

90mm

Synthes Australia Pty Ltd

SY006	Click'X Spinal Fixation System	Cap	One size only	$448.00

SY007	Click'X Spinal Fixation System	Pedicle Screw: Preassembled	Length 25-80mm	$1,330.00

SY008	VentroFix	Clamp	Single, Double, Fracture, Left, Right	$1,500.00

Prostheses List by Category and Sponsor	Page 155 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY010	VentroFix	Set screw	One size only	$155.00

SY011	VentroFix	Parallel connector	6.0/6.0mm	$1,000.00

SY012	CerviFix Posterior Cervical System	Clamp	Left, Right, Medial, Lateral, 	$513.00

Pedicle, Lamina

SY013	CerviFix Posterior Cervical System	Hook	Small, Large, Left, Right	$600.00

SY014	CerviFix Posterior Cervical System	Rod: Occiput, Straight, Tapered	120 - 250mm length	$1,440.00

SY015	CerviFix Posterior Cervical System	Parallel connector	3.5/3.5, 3.5/5.0, 3.5/6.0	$1,000.00

SY039	Spinal Plate/Plate System AO/ASIF Spinal 	Spondylolysis hook screw (complete) small & 	Screw 45 - 60mm	$586.00

Implants	large

SY088	Plif Cage: Cage	Contact fusion cage - bone compression screw 	Width 8 - 11mm / height 9 - 15mm	$2,704.00

for PLIF cage

SY134	Cervical Spine Locking Plate (CSLP) System	Plate - Special Manuf.	22 - 92mm Length	$788.00

SY135	Cervical Spine Locking Plate (CSLP) System	Locking Screw	One size only	$54.00

SY136	Posterior Cervical Plate System	Plate	2 - 20 holes	$1,067.00

SY137	Syncage	Interbody fusion cage	12 -19mm Height	$3,690.00

SY139	Spinal Plate/Plate System AO/ASIF Spinal 	Anterior thoracolumbar plate - locking	Length 57 - 103mm	$3,168.00

Implants

SY140	Spinal Plate/Plate System AO/ASIF Spinal 	Anterior thoracolumbar screws -  locking	Locking screw 7.5mm, length 25 - 	$490.00

Implants	55mm

SY141	Spinal Plate/Plate System AO/ASIF Spinal 	Cannulated/self tapping screw (odontoid)	3.5mm dia, 36-50mm length	$495.00

Implants

SY143	Universal Spine System (USS)	Rods	Length 40 - 500mm	$900.00

SY144	Universal Spine System (USS)	Fracture Clamps	Cranial, Standard, Low Profile	$1,278.00

SY145	Universal Spine System (USS)	Half Ring	SS, Standard, Self-Holding	$360.00

SY146	Universal Spine System (USS)	Cross Link Rod	40-80mm length 	$109.00

SY147	Universal Spine System (USS)	Connectors	Parallel, In-line, Transverse, SS, 15 	$722.00	$1,000.00

- 25mm

SY148	Universal Spine System (USS)	Pedicle Hook Screw	Length 20- 40mm	$190.00

SY149	Universal Spine System (USS)	Schanz Screws	 5-7mm dia 	$137.00

SY150	Universal Spine System (USS)	Washers	Pointed, Flat, 4.2 - 7mm	$408.00

SY151	Universal Spine System (USS)	Sleeve	3.5 - 6mm	$225.00

Prostheses List by Category and Sponsor	Page 156 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY152	Universal Spine System (USS)	Set Screw	Standard	$220.00

SY174	Universal Spine System (USS)	Nut	Standard, SS	$173.00

SY175	Universal Spine System (USS)	Pedicle Screw - USSII	25 - 140mm	$1,350.00

SY178	Spinal Fixation System	Pedicle screw head	5 - 6mm	$785.00

SY179	Spinal Fixation System	Pedicle Screw (without head)	L:30-100mm, D:4-9mm	$515.00

SY181	Cervical Spine Locking Plate (CSLP) System	Expansion Head Screw	Dia 3.5 - 4.5mm,  Length 12 - 25mm	$295.00

SY182	Cervical Spine Locking Plate (CSLP) System	VA Plate	Length 23 - 109mm	$2,524.00

SY183	Posterior Cervical Plate System	Plate	22-33 holes	$1,840.00

SY184	Posterior Cervical Plate System	Plate - rod	Special Manufacture - One size only	$3,579.00

SY185	Cervifix Posterior Cervical System	Starlock Clamp	Upgoing, Neutral, Offset, Offset 	$600.00

Neutral, Left, Right

SY186	Cervifix Posterior Cervical System	Nut	One size only	$50.00

SY187	Cervifix Posterior Cervical  System	Screw	Dia 3.2 - 4.5mm, Length 6 - 55mm	$135.00

SY192	Universal Spine System (USS)	Pedicle screw	Length 70 - 140mm	$1,517.00

SY250	Universal Spine System	Low Profile Transconnector	18-83mm length	$2,456.00

SY251	VENTROFIX - MIS	Screw	25-65mm	$514.00

SY254	Ventrofix - MIS	Locking screw	Anterior, posterior	$490.00

SY273	Cervios IBF Cage	Interbody Fusion Cage	Height 5-10mm (1mm increments)	$2,781.00

SY274	Plivios IBF Cage	Interbody Fusion Cage	Height  7-17mm	$2,942.00

SY275	Trafios IBF Cage	Interbody Fusion Cage	Height  7-17mm	$3,690.00

SY276	Spine Cable System	Single Lead	One size only	$412.00

SY277	Spine Cable System	Double Lead	One size only	$535.00

SY286	USS llio-Sacral Fixation system	Locking Screw	one size only	$490.00

SY287	USS llio-Sacral Fixation system	Transconnecting bar	One size only	$1,100.00

SY288	USS llio-Sacral Fixation system	Sacral clamp	One size only	$1,420.00

SY289	USS llio-Sacral Fixation system	Polyaxial screw	20mm to 140mm	$1,390.50

SY290	Anterior Tension Band	Plate	30mm to 110mm	$2,833.00

SY291	Anterior Tension Band	Locking Screw	22mm to 36mm	$275.00

Prostheses List by Category and Sponsor	Page 157 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY293	Synmesh	Mesh, Oblong	6mm - 88mm	$3,605.00

SY294	Synmesh	Mesh, Round	6mm - 88mm	$3,605.00

SY295	Synmesh	End rings	round/oblong	$1,133.00	$1,200.00

SY296	Vectra Anterior Spinal System	Cervical Plate	10mm to 110mm	$1,700.00

SY297	SynFix Spinal system	Locking Screw	10mm to 40mm, 4.0mm diameter	$300.00

SY298	SynFix Spinal System	Interbody fusion cage prefilled or unfilled	5mm to 19mm	$7,250.00

SY299	Vectra Anterior Spinal System	Locking Screw	10mm to 26mm	$300.00

SY300	Travios	Interbody fusion cage, prefilled or unfilled	5mm to 19mm	$4,258.00

SY301	TeleFix Spinal System	Rod/Plate construct	40mm to 140mm in length	$3,168.00

SY302	TeleFix Spinal System	Posterior Screw	20mm to 70mm in length	$575.00

SY303	TeleFix Spinal System	Anterior Screw	20mm to 70mm in length	$575.00

SY304	TeleFix Spinal System	Posterior Locking Screw	One size only	$246.00

SY305	Pangea Spinal System	pedicle Screw	Diameter, 4.0mm to 10mm. Length,	$1,400.00

20mm to 120mm

SY306	Pangea Spinal System	Pedicle and Lamina Hooks	Extra small to Extra Large	$1,288.00

SY307	Pangea Spinal System	Locking Cap	One size only	$401.00

SY308	Axon Spinal System	Locking Set screw	One size only	$170.00

SY309	Axon Spinal System	Variable axis screw	3.0mm - 4.5mm diameter, 4mm to 	$1,330.00

60mm length

SY310	Axon Spinal System	transverse bar	one size only	$571.00

SY313	AO/ASIF  Plate	Titanium Mesh for reconstruction of cranial 	100mm x 100mm square 0.4-	$1,684.05

defects, Low Profile Neuro Mesh	0.6mm thick, Contourable

SY314	AO/ASIF  Plate	Titanium Mesh for reconstruction of cranial 	200 x 200mm square, 0.6mm thick,	$3,605.00

defects, Low Profile Neuro Mesh	 Contourable

SY317	AO/ASIF Plate	Titanium Plate - straight	1.6mm Profile, 2-4 holes	$113.00

SY318	AO/ASIF Plate	Titanium Plate - X, Y Frame, Strut, Adaption	1.6mm Profile, 4-6 holes	$170.00

SY319	AO/ASIF Plate	Titanium Plate - Long Adaption and Burr 	1.6mm Profile, 6-24 holes	$206.00

Hole covers

SY325	Universal Spine System	Hook	Small, Medium, Large, Lamina, 	$970.26

Thoracic, Pedicle

Prostheses List by Category and Sponsor	Page 158 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY326	Spinal Plate/Plate System AO/ASIF Spinal 	Internal fixator - cross link clamp	One size only	$1,174.00

Implants

SY327	Spine Solutions Prodisc	Artificial mechanical disc, superior plate 	3 Degree, 6 Degree, 11 Degree, 	$4,000.00

component	Medium, Large

SY328	Spine Solutions Prodisc	Artificial mechanical disc, polyethylene inlay	10,12,14mm, Medium, Large	$1,500.00

SY329	Spine Solutions Prodisc	Artificial mechanical disc, inferior plate 	0 Degree, 3 Degree, 8 	$4,000.00

component	Degree,Medium, Large

SY334	Arch Fixation System	Screws, titanium	2.0mm - 2.4mm screws, 4 to 12mm	$165.00

SY335	Arch Fixation System	Pre contoured mini titanium plates	4 to 16mm	$1,030.00

SY336	Click'x Spinal System	Cannulated Screws	4.0mm to 9.0mm	$1,350.00

SY337	Universal Spinal System (USS)	Polyaxial Pedicle Screw, titanium	4.0mm to 9.00mm	$1,700.00

SY338	Vectra T Anterior Spinal System	Titanium	14 to 110mm	$1,700.00

SY339	Vectra T Anterior Spinal System	Self tapping, self drilling Titanium	4.0/4.5mm. 12mm to 20mm	$300.00

SY340	PlivioPore	Ti PLIF cage	Height 7 - 17mm / width 7 - 13mm	$3,595.00

SY341	Expandable Cage Titanium	Synex II, Titanium	Height 14mm-93mm	$4,315.00

SY342	Expandable Cage Titanium	Synex II, Titanium endplate	Angle 0 - 40 degree. Endplate Size 	$720.00

19x20, 22x25, 26x30

SY343	Expandable Cage Titanium	Synex, Titanium, with endplates	Height 14mm - 93mm, Angle 0 - 40	$5,395.00

degree

SY356	ECD - Expandable Corpectomy Device	Vertebral body replacement system, 	Angle 4.5Deg/7Deg, Height 17mm -	$5,440.00

PEEK/Titanium	 70mm

SY357	ECD - Expandable Corpectomy Device	Locking clip, PEEK/Titanium	Universal	$300.00

SY359	Universal Spine System (USS)	Fracture Clamps	Cranial, Standard, Low Profile	$1,278.00

SY360	Universal Spine System (USS)	Half Ring	SS, Standard, Self-Holding	$360.00

SY361	Universal Spine System (USS)	Cross Link Rod	40 - 80mm Length	$109.00

SY362	Universal Spine System (USS)	Pedicle Hook Screw	Length 20 - 40mm	$190.00

SY363	Universal Spine System (USS)	Sleeve	3.5 - 6mm	$225.00

SY364	Cervical Spine Locking Plate (CSLP) System	Eepansion Head Screw	Dia 3.5 - 4.5mm, Length 12 - 	$250.00

SY365	Cervical Spine Locking Plate (CSLP) System	VA Plate	Length 23 - 109mm	$2,282.00

SY366	Axon Spinal System	transverse bar	one size only	$571.00

Prostheses List by Category and Sponsor	Page 159 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY379	USS II Polyaxial	Screw or Head	Head 5mm / 6mm	$850.00

Screw diameter 4,5,6,7,8mm,

Length - 20-110mm

SY380	Axon Occipital Fusion System	Occipital Plate Medial / Lateral, Pure titanium	50mm / 60mm width, 3 or 4 holes	$2,250.00

SY381	Axon Occipital Fusion System	Occipital Screws 4.5mm / 5.0mm diameter	Length 4 - 18mm	$198.00

Titanium Alloy

SY382	Axon Occipital Fusion System	Occipital Clamp Titanium Alloy	1 or 2 holes	$1,000.00

SY383	Synmesh	Locking Screw, Low Profile, For Synmesh 	Small, Large	$157.00

End Rings

SY384	Speciality Rods	Unit Rod, Titanium / Stainless Steel	5mm, 6mm diameter	$1,400.00

250mm - 500mm length

SY385	Speciality Rods	Scoliosis / J/S Rod, Precontoured, Titanium / 	5mm, 6mm diameter. Left / Right	$1,100.00

Stainless Steel	50mm - 500mm length

SY398	Axon Spinal System - Transconnector	Axon Transconnector	60mm, 70mm	$1,100.00	$1,520.00

Taylor Bryant Pty Ltd

TB030	Advanced Spine - Titanium System	C-Spacer (various lengths) Titanium	5/0mm x 5/0mm to 7/5mm x 	$107.00

TB031	Advanced Spine - Titanium System	Hex Bolt  Titanium	20mm, 25mm, 30mm	$210.00

TB032	Advanced Spine - Titanium System	Support Rod 	5mm x12.0", 18.0", 22.0"	$417.00

TB033	Advanced Spine - Titanium System	Aluminium Master Rod 	12", 22"	$42.00

TB034	Advanced Spine - Titanium System	Varigrip Lower Hook Titanium (Zone 1, 2, 3)	Zone 1/2/3	$2,616.00

TB035	Advanced Spine - Titanium System	Varigrip Upper Hook Titanium (Zone 1, 2, 3)	Zone 1/2/3	$1,469.00

TB036	Advanced Spine - Titanium System	Clamp Bolt Titanium	One size only	$252.00

TB096	Advanced Spine - Titanium System	200 Ser Ti Screws/Titanium	5/0 x (30, 35, 40, 45mm); 7/5 x 	$359.00

(35, 40, 45, 50, 55mm); 6/5 x (35,

40, 45, 50, 55mm); 5/8 x (40, 45,

50, 55mm)

TB100	Advanced Spine - Titanium System	Lower Saddle	1mm	$358.00

TB101	Advanced Spine - Titanium System	Lower Saddle	14 Degree Left/Right, 7 Degree 	$465.00

Left/Right, 2mm, 4mm, 6mm

Increment, 30 Degree Left/Right

TB105	Low Pro Upper Clamp	Upper Clamp	1mm	$360.00

Prostheses List by Category and Sponsor	Page 160 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB106	Low Pro Upper Clamp	Upper Clamp	14 Degree Left/Right, 7 Degree 	$452.00

Left/Right, 2mm, 4mm, 6mm

Increment, 30 Degree Left/Right

TB110	Support Rod	8inch Rod-Titanium	8 inch - Titanium	$192.00

TB112	Varilift System 	Sleeve nut	One size only	$95.00

TB115	Low Pro Upper Clamp	Cross Link Assembly 200 Ser Titanium	7/0cm, 8/0cm, 9/0cm	$403.00

TB116	Aneurism Clip	Sugita Clips, Standard Slightly Curved,	One Size Each	$460.00

TB117	Aneurism Clip	Sugita Clip, Temporary Straight/S,  Sugita 	One Size Each	$405.00

Clip, Temporary Straight/L

TB118	Aneurism Clip	Sugita Clips: Standard Straight-Short #1/Long	One Size Each	$342.00

#2

TB119	Aneurism Clip	Sugita Titanium Anneurysm Clips: Standard 	One Size Each	$269.00

Straight/s, Straight-L, Bayonet, Angled,

Straight-Small, STD Temp-STD Small, STD

Temp-Straight/Large, STD Temp-Bayonet,

STD Temp-CVD, Mini Straight-Small, Mini

Straight/Large, Mini Curve, Mini Angled,

Mini Curve

TB147	Aneurism Clip	Sugita Titanium Clips: Standard Slight 	One Size Each	$318.00

Angle, Side CVD, CVD, Angled, Bayonet-

Small/Large, Straight-Medium, Slight CVD,

Straight Large, L Angle-Small/Medium/Large,

45D CVD Small/Medium/Large, STD Temp

Slight CVD, Temp Mini Straight/Large,

Temp Mini Angle, Standard 1/4 Curved-

Small/Large, STD Slight Angle, Standard

Slight Curve, Curve, 1/4 Curve, Mini Curve,

Side Curve, Angle, Bayonet,

TB148	Aneurism Clip	Sugita Titanium Clips: Standard Side CVD 	One Size Each	$420.00

Bayonet, Small CVD, Side Angled, Slight

CVD, J Angle-Small/Medium/Large, Slight

CVD Small, Temp Mini Straight Slim,

Standard L Curved- Small/Large, Mini

Straight Slim, Curve Slim,

TB149	Aneurism Clip	Sugita Titanium Clips: Booster	One Size Each	$435.00

TB150	Aneurism Clip	Sugita Clips: Mini Straight Slim, CVD Slim	One Size Each	$460.00

Prostheses List by Category and Sponsor	Page 161 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB151	Aneurism Clip	Sugita Clips: Fenest, Lrg L Shaped W/CVD	One Size Each	$500.00

TB152	Aneurism Clip	Sugita Clips, Mini CVD Slim	One Size Each	$618.00

TB153	Aneurism Clip	Sugita Clips, Long	One Size Each	$620.00

TB154	Aneurism Clip	Sugita Clip,  Large Straight/Short	One Size Each	$220.00

TB155	Aneurism Clip	Sugita Clip, Temporary Bayonet, Bent	One Size Each	$230.00

TB156	Aneurism Clip	Sugita Clip, STD Sideward CVD	One Size Each	$236.00

TB157	Aneurism Clip	Sugita Clip, Large Sideward Bent, Bent, 	One Size Each	$296.00

Bayonnet-Short/Large, Straight-Medium/Long

TB158	Aneurism Clip	Sugita Clip, Large L Shaped-	One Size Each	$319.00

Short/Medium/Large, Large J Shaped-

Short/Medium/Large, Fenest Large Straight-

S/M/L, Large Bent-S/M/L, Fenest Large L

Shaped-S/M/L

TB159	Aneurism Clip	Sugita Clip, Temporary Mini Straight, Bent, 	5-7mm length x 1.2mm width, 	$328.00

Mini Straight/Short, Bent, SDEWARD CVD,	closing force 125gms

CVD

TB160	Aneurism Clip	Sugita Clip, Mini CVD	4mm length x 1.2mm width, 	$331.00

closing force 120 & 124gms

TB161	Aneurism Clip	Sugita Clip, Mini CVD	5mm length x 1.2mm width, 	$366.00

closing force 132gms

TB162	Aneurism Clip	Sugita Clip, Large Slightly Crv-Short/Long	One Size Each	$390.00

TB163	Aneurism Clip	Sugita Clip, Large 45 D Angle/s, Slightlyn 	One Size Each	$380.00

Crv/s, Temporary Slighly Crv, Mini Straight

Slim, Large 1/4 CVD, Mini

TB164	Aneurism Clip	Sugita Clip, Large Straight, Bayonet, Mini 	One Size Each	$400.00

Bayonet

TB165	Aneurism Clip	Sugita Clip, Large L Shaped W/CRV-S/L, 1/4	One Size Each	$410.00

CVD-S/L

TB166	Aneurism Clip	Sugita Clip, Large 45D Angle-M/L	One Size Each	$400.00

TB167	Aneurism Clip	Sugita Clip, Fenest Large L Shaped-L, Bayonet	One Size Each	$460.00

TB168	Aneurism Clip	Sugita Clip, Fenest Large L Shaped W/CVD	One Size Each	$224.00

TB169	Aneurism Clip	Sugita Clips, Standard Bayonnet, Bent, 	One Size Each	$236.00

Sideward Bent, Sideward Curve, Slight Bent

Prostheses List by Category and Sponsor	Page 162 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB170	Aneurism Clip	Sugita Clips, Standard Sideward Curve, Curved	One Size Each	$370.00

TB171	Aneurism Clip	Sugita Clips, Standard Slight CVD, CVD	11mm length x 1.2 width, closing 	$342.00

force 125-160gms; 9mm length x

1.2 width, closing force 120-155gms

TB172	SL Upper Hook	Composition - Titanium	Zone 5	$4,300.00

TB173	SL Lower Hook	Composition - Titanium	Zone 5	$760.00	$3,100.00

TB181	Rabea Peek Vertebral Body Fusion Implant	Composition - peek, spinal implant	4, 5, 6, 7 x 12 x 14mm, 8 x 12 x 	$1,545.00

16mm

TB182	Tetris Lumbar Fusion Implant System	Titanium or peek, spinal implant	8-12mm x 11mm	$1,949.00

TB192	Blackstone Medical Inc Anterior Cervical Plate	Titanium alloy plate	L3	$2,050.00

System

TB193	Blackstone Top Locking Plate	Holds bone screws and anterior cervical plate 	One size only	$1,271.00

in place

TB194	Blackstone Medical Inc Anterior Cervical Plate	Bone Screw, Primary/Rescue Screw	12, 14, 16mm	$335.00

System

TB239	Spinal Fixation System	Multi Axial Cross Connector Assembly - 	30mm - 75mm in 5mm increments	$730.00

Titanium/Lateral Offset

TB240	Spinal Fixation System	Multi screw - Titanium	5.5 x 35mm up to 55mm in 5mm 	$1,200.00

increments; 6.5 x 35mm up to

60mm in 5mm increments; 7.5 x

35mm up to 60mm in 5mm

increments

TB241	Spinal Fixation System	Rod - Titanium	40mm to 100mm in 10mm 	$260.00

increments

TB242	Spinal Fixation System	Rod - Titanium	110 to 450mm (110, 120, 140, 160,	$310.00

180, 200, 450mm)

TB243	Spinal Fixation System	Set screw spinal system	One size only	$107.00

TB247	Blackstone - Spinal Fixation System - Mono 	Composition - Titanium	5.5mm x 40mm, 5.5mm x 45mm, 	$950.00

Axial Screws	6.5mm x 40mm and 6.5mm x

45mm

TB252	Signus - Semial	Composition - PEEK	Height (ant) 7.80, 10.40, 13.20; 	$3,100.00

Diameter 38, 43, 48; Height (post)

5.4, 8.0, 8.1, 10.8; Angle 5.00,

10.40

Prostheses List by Category and Sponsor	Page 163 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB267	Blackstone - Fixed System Washer	Titanium	One Size Only	$83.00

TB268	Blackstone - Washer	Titanium	2/4/6mm	$73.00

TB269	Blackstone - Spacer	Titanium	3/5mm	$74.00

TB270	Blackstone - Posterior Hook	Titanium	Large/Angled/Offset/Left/Right/Narro	$463.00

w/Wide/ThoracicLaminar/Lumbar

Laminar

TB271	Blackstone - Staple	Titanium	2/4/6mm	$140.00

TB272	Blackstone - Posterior Cervical System	Crimp Two Pack - Titanium	One size only	$182.00

TB273	Blackstone - Posterior Cervical System	Double  Loop Cable w/Four Crimps - 	One size only	$464.00

Titanium

TB274	Blackstone - Posterior Cervical System	Single Loop Cable w/Two Crimps - Titanium	One size only	$412.00

TB275	Blackstone - Posterior Cervical System	Occipital Screw	6, 8, 10, 12, 14mm	$213.00

TB276	Blackstone - Posterior Cervical System	Occipital Anchor	31, 37, 45, 50mm	$918.00

TB277	Blackstone - Posterior Cervical System	Occipital Rod	One size only	$310.00

TB278	Blackstone - Posterior Cervical System	Cross-Connector	20, 25, 30, 35, 40, 45, 50mm	$850.00

TB279	Blackstone - Posterior Cervical System	Rods - Titanium	3.0mmx70, 120, 200mm	$302.00

TB280	Blackstone - Posterior Cervical System	Mini-Multi-Axial Screw	3.5-4mmx10-30mm (2mm 	$1,190.00

increments)

TB281	Blackstone Set Screw	Titanium	One size only	$157.00

TB282	Blackstone - End Ring	Surgical Mesh	[Surgical mesh X Angle] 10-16mm 	$195.00

(2mm increments) X 0-2.5 degrees

TB283	Blackstone - Standard Ring Screw	Titanium	One size only	$62.00

TB284	Blackstone - Surgical Mesh	4 lobe, 6 lobe	4 lobe: 12 x 15mm, 8mm - 17 x 22,	$820.00

15mm, 6 lobe: (diameter x height)

10 - 16 x 10 - 16mm (2mm

increments), 7 - 70mm

TB293	Wafer Cartridge Assemby,	Composition: Peek	8 x 20/25/30mm	$2,700.00

TB294	Mizuho - Titanium Fenestrated Aneuysm 	Straight (S/M/L), Bent (S/ M/L),  L-Shaped 	Closing Force 95 to 160 gms	$568.00

Clips	(S/M/L), Bayonet,  L Shaped curved to left

(S/M/L),  L-Shaped curved to right (S/M/L)

Prostheses List by Category and Sponsor	Page 164 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB296	Duraseal Dural Sealant	DuraSeal is a Synthetic, absorbable, 	5ml of hydrogel sealant	$835.00	Temporary approval, pending review

Polyethylene Glycon, hydrogel sealant used as 	of product group

an adjunct to sutured dural repair to achieve

watertight closure.

TB298	MC+ Implants	Intersomatic cages (Open and 'Closed), 	12mm x 14mm - 15mm x 17mm	$2,625.00

Anchoring clip

TB299	Roi Implants	Intersomatic Lumbar cages	20mm x 7mm - 24mm x 15mm	$2,625.00

TB302	Blackstone - Surgical Mesh	6 lobe	17 x 22mm, 70mm - 26 x 33mm, 	$2,472.00

90mm

TB303	Nubic	Cervical Fusion Implant in interbody fusion of 	4x13x14mm, 5x13x14mm, 	$2,625.00

the Cervical Spine	6x13x14mm, 7x13x14mm,

8x13x14mm

TB310	ICON Modular Spinal Fixation System	Screw	4.5mm - 8.5mm x 25-80mm	$1,023.00

TB311	ICON Modular Spinal Fixation System	Multi-axial body assembly	5.5mm	$255.00

TB312	ICON Modular Spinal Fixation System	Offset body assembly	8, 11, 14mm	$250.00

TB313	ICON Modular Spinal Fixation System	Set Screw	one size only	$230.00

TB316	Magerl/Kimba Cage	Endless Carbon Fibre (ECF) in PEEK-Optima	7, 8, 9, 11, 13, 15mm	$3,115.00

TB325	Lumbar Screw	ECF in PEEK optima	32, 36, 40, 44, 48, 52, 56, 60, 65mm	$978.00

TB360	Spinal Fixation System	Pre Lordosed Rods	40mm to 100mm in 10mm 	$290.00

increments

TB361	Blackstome Medical Inc Anterior Cervical 	Titanium alloy plate	L1	$1,550.00

Plate System

TB362	Blackstome Medical Inc Anterior Cervical 	Titanium alloy plate	L2	$1,850.00

Plate System

TB363	Unity Lumbar Plate	Unity Plate	17-28mm	$1,700.00

TB364	Unity Lumbar Plate	Unity Bone Screw	6-7mm	$300.00

TB365	Unity Lumbar Plate	Unity Cover Plate	17-28mm	$800.00

TiMax Surgical Pty Ltd

TI066	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLGA/TMC 	10-20mm	$190.00

Copolymer Screws

TI068	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC 	19-60mm	$1,271.00	$2,700.00

Copolymer

Prostheses List by Category and Sponsor	Page 165 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TI069	CPS Bioabsorbable Fixation System	Anterior Cervical Plate System: PLCA/TMC 	62.5-110mm	$1,700.00	$2,700.00

Copolymer

Trans-Pacific Healthcare Pty Ltd

TR007	HydraFlex	Hydrogel and ployethylene Prosthetic Disc 	Fits disc height of 8-11mm. Sizing: 	$5,900.00

Nucleus	M7, M9, S7, S9

Victorian Health Care Association Pty Ltd

VH001	Spetzler Titanium Aneurysm Clips	Permanent Standard & Temporary Clips. 	5mm-13mm	$602.91

Commercially Pure Titanium.

VH002	Spetzler Titanium Aneurysm Clips	Fenestrated Clips. Commercially Pure 	5mm-13mm	$645.66

Titanium.

W L Gore & Associates

GT056	Preclude  Dura Substitute	ePTFE	0.3mm Thickness 2 x 10cm	$492.00

GT057	Preclude Dura Substitute	ePTFE	0.3mm Thickness 5 x 6 cm	$707.00

GT058	Preclude  Dura Substitute	ePTFE	0.3mm thickness 6 x 10cm	$1,335.00

GT059	Preclude Dura Substitute	ePTFE	0.3mm thickness 10 x 12cm	$2,372.00

Zimmer

ZI330	Trabecular Metal Spinal Devices	Composition - Trabecular Metal	Various heights, sizes and diameters	$6,200.00

ZI332	Dynesys Spacer	Composition : Polycarbonate	45mm long	$620.00

ZI333	Dynesys Pedicle Screw	Composition : Titanium alloy	35 to 50mm lengths	$1,037.00	$1,246.00

ZI334	Dynesys Cord	Composition: Sulene	100 or 200 mm long	$464.00	$2,709.00

ZI475	Silhouette Spinal System Implants	Polyaxial Screw Assembly with Tabs	5.5 x 25mm to 8.5 x 60mm	$937.00

ZI476	Silhouette Spinal System Implants	Fixed Screw with Tab Extensions	5.5 x 25mm to 8.5 x 60mm	$710.00

ZI477	Silhouette Spinal System Implants	Nut, Connector, Transverse	1 size	$152.00

ZI478	Silhouette Spinal System I	Adjustable Transverse Connector Rod	1 size	$160.00

ZI479	Silhouette Spinal System Implants	Nut, Locking, Polyaxial	1 size	$170.00

ZI480	Silhouette Spinal System	Adjustable Transverse Connector Sleeve with 	12 - 90mm lengths	$325.00

Set Screw

ZI481	Silhouette Spinal System Implants	Rod	5.5 dia x 10cm, 20cm and 47cm 	$400.00

length

ZI482	Spine-Tech BAK Cervical Implant	Cervical Cage	6 x 12mm, 8 x 12mm, 10 x 12mm,	$1,564.00

12 x 12mm

Prostheses List by Category and Sponsor	Page 166 of 549

NEUROSURGICAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI483	Spine-Tech BAK "L" Cage	Lumbar Cage	9 x 20mm, 9 x 24mm, 11 x 20mm,	$1,719.00

13 x 20mm, 13 x 24mm, 15 x

20mm, 15 x 24mm, 17 x 24mm, 17

x 28mm

ZI487	Trinica Screw	Titanium Screws, fixed and variable angle.	4.2mm x 12/14/16/18mm; 4.6mm x	$195.00

12/14/16/18mm

ZI489	Trinica Select Anterior Cervical Plate	Titanium plate for anterior cervical spine. Used	Plates for 1 or 2 levels are from 22 	$1,692.00

to assist spinal fusion.  Attached to the bone 	to 52mm long in 2mm increments;

using screws.	Plates for 3 levels are from 51-72mm

long in 3mm increments

ZI517	Trinica Anterior Lumbar/Sacral Screw	Screw, Titanium, Fixed or Variable Axis	22 to 34mm lengths	$546.00

ZI518	Trinica Anterior Lumbar Plate	Lumbar Plate, Titanium	37-51mm lengths	$1,900.00	$3,898.00

ZI519	Trinica Anterior Lumbar Plate	Sacral Plate, Titanium	33-51mm lengths	$1,900.00	$3,898.00

ZI527	Optima Spinal Fixation System - Hooks	Titanium Alloy	Various	$1,130.50

ZI535	Optima Spinal Fixation System -Connectors	Optima Spinal Fixation System - Rod 	Various	$1,000.00

Connectors

ZI536	Trabecular Metal Spinal Devices	Composition Trabecular Metal	Various heights, diameters and sizes	$6,200.00	$6,405.00

ZI537	Trabecular Metal Spinal Device	Composition Trabecular Metal	Various heights, sizes and diameters	$6,200.00	$6,405.00

Advanced Medical Optics Australia Pty Ltd

AO001	Intraocular Lens: Model  AC 51B	Duralens  PMMA, Anterior Chamber IOL	6.00 mm Optic Diameter x 13.0mm	$198.00

in overall length

AO002	Sensar  AR40 Monofocal Acrylic IOL,  Sensar 	Soft Acrylic, Foldable, UV Absorbing, 	6 mm Optic Diameter x 13mm in 	$322.00

OptiEdge AR40e Foldable Acrylic IOL	Posterior	overall length.

AO003	Intraocular Lens: Allergan AMO Duralens 	Duralens, PMMA, Posterior Chamber IOL    	5.5mm-6.5 mm Optic Diameter x 	$156.00

Posterior Chamber IOL Model PS42ANB, 	12.0mm-13.5mm in overall length.

PS53ANB, PS60ANB, PS59NB, PS60AMB

AO004	Intraocular Lens: Allergan AMO Array 	Array Multifocal SA40N, Silicone, Foldable 	6.0 mm Optic Diameter x 13.0mm 	$780.00	$950.00

Multifocal UV Absorbing Silicone Posterior 	IOL	overall length.

Chamber IOL Model SA-40N

AO005	Intraocular Lens: Allergan Model SI-30NB 	PhacoFlex II SI-30NB Silicone or PhacoFlex 	6.0 mm Optic Diameter x 13.0mm 	$281.00

Silicone PC IOL; or AMO model SI-40NB 	II SI-40NB Silicone; Foldable IOL	in overall length.

Silicone PC IOL

AO006	Clariflex, Model CLRFLXB Posterior 	Foldable Silicone IOL with OptiEdge design	One size only	$322.00

Chamber Intraocular Lens

Prostheses List by Category and Sponsor	Page 167 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AO007	Viscoelastic Fluid: AMO Vitrax (sodium 	Surgically Implanted Intraocular Viscoelastic 	0.65mL	$90.00

hyaluronate) 30mg/mL, 0.65mL

AO008	Healon, Intraocular Viscoelastic Fluid	Sodium Hyaluronate 10mg/ml	Healon 0.4ml, 0.55ml & 0.85ml	$80.00

AO009	Healon 5, Intraocular Viscoelastic Fluid	HEALON5- Sodium hyaluronate 23mg/ml .	0.6ml	$85.00

AO010	Healon GV Intraocular Viscoelastic Fluid	Sodium Hyaluronate 14mg/mL	0.5mm and 0.85ml	$80.00	$95.00

AO011	Anterior Chamber IOL; Pharmacia Heparin 	Anterior chamber heparin coated PMMA lenses	808C: +8.0 to +30.0 diopter 	$198.00

Surface Modified AC IOL Model 352C	 352C. Models 812C, 722C, 757C, 808C & 	increments  and 352C: - +8.0 to

352C.	+30.0 diopter increments

AO012	Baerveldt Glaucoma Implant BG 101-350, 	Non-valved artificial drainage device, 	Surface area 250, 350, 425mm2	$600.00

Baerveldt Glaucoma Implant BG 103-425, 	composition silicone - smooth, tumble-

Baerveldt Glaucoma Implant BG 103-250	polished finish

AO013	Ceeon Model 911A Edge Foldable UV 	Silicon, foldable, UV absorbable intraocular 	5 - 10D in 1.0 diopter increments, 	$312.00

Absorbing Posterior Chamber IOL	lens with equibiconvex design and square optic	10.5 - 30D in 0.5 diopter increments

edge

AO014	Tecnis TM Intraocular Lens	Foldable Intraocular Lenses - Ultraviolet light 	5-10 dioptre in 1.0 dioptre 	$364.00

absorbing posterior chamber intraocular lenses,	increments; 10.5 - 30 dioptre in 0.5

Silicone/Acrylic	increments

AO015	CEEON R Intraoccular Lens	Foldable intraocular lenses - ultraviolet light 	5-10 dioptre in 1.0 dioptre 	$229.00

absorbing posterior chamber intraocular lenses	increments; 1.3-30 dioptre in 0.5

dioptre increments

AO016	Verisyse AC IOL	Phakic Intraocular Lens: Model Myopia.  	5mm Optic Diameter x 8.5 overall 	$680.00	$728.00

Composition: PMMA	length; 6mm Optic Diameter x 8.5

overall length

AO017	Verisyse AC IOL	Phakic Intraocular Lens: Model Hyperopia.  	5mm Optic Diameter x 8.5 overall 	$680.00	$728.00

Composition: PMMA	length

AO018	Verisyse AC IOL	Phakic Intraocular Lens: Model Toric	5mm Optic Diameter x 7.5 overall 	$888.00	$1,456.00

length

AO019	Verisyse AC IOL	Aphakic Model	5mm Optic Diameter x 8.5 overall 	$156.00	$680.00

length

AO020	ReZoom Acrylic Multifocal Intraocular Lens	Acrylic, foldable, posterior chamber, 	6.0mm Optic Diameter x 13.0mm 	$780.00	$950.00

intraocular lens	overall length

AO021	Stabileyes Capsular Tension Ring	Polymethylmethacrylate (PMMA) Implant	12mm ring, and 13mm ring	$250.00

AO022	Posterior Chamber IOL; Pharmacia Heparin 	CeeOn Posterior chamber, heparin coated , 	812C:+8.0 to +40.0 diopter 	$198.00

Surface Modified AC IOL Model 352C	PMMA lenses, One piece, biconvex. 812C, 	increments, 722C: +8.0 to +30.0

722C, 757C, 808C CeeOn	diopter increments, 757C: -10.0 to

+7.0 diopter increments

Prostheses List by Category and Sponsor	Page 168 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AO023	Tecnis Multifocal Intraocular Lens	Tecnis Multifocal foldable Posterior Chamber 	+5.0 Diopter to 34.0 Diopter in 0.5 	$780.00	$950.00

Diffractive Intraocular Lens Model ZM900.  	diopter increments

Posterior Chamber lens with UV light-

absorbing, foldable, silicone, 3 piece with a

diffractive posterior optic and a Modified

Prolate Anterior Surface Technology

Alcon Laboratories (Aust.) Pty Ltd

AL001	Capsular Tension Rings	-	10.0 - 12.0 compressed,  12.3 - 14.5	$255.00

uncompressed

AL002	Intraocular Lens: MODIFIED C PMMA PC 	Other:PMMA	Range of Powers:-10 to +34 D	$156.00

IOL MODEL MZ60BD, MODIFIED PMMA

PC IOL Model MZ20BD, CANTILEVER

PMMA PC IOL MODEL CVC1U, Modified

PMMA PC IOL Model MZ30BD, PMMA

PC, IOL Model MC60BD, PMMA PC, IOL

Model MC50BD, PMMA PC, IOL Model

CZ70BD, MODIFIED C PMMA PC IOL

MODEL 251.60 (MC50BM), MODIFIED C

PMMA PC IOL MODEL 251.61 (MC51BM),

MODIFIED C PMMA PC IOL MODEL

551.61 (MC60CM), Alcon JF30BD Cantilever

PMMA PC IOL, Alcon Cantilever Model

LX90BD PMMA PC IOL, Alcon Cantilever

Model LX10BD PMMA PC IOL, Alcon

Cantilever Model LC80BD PMMA PC IOL,

PMAA PC INTRAOCULAR LENS

AL003	MTAU1-MTAU-7	PMMA	+ 4 to 28 D	$156.00

AL004	Intraocular Lens: Alcon Acrysof Model 	Foldable Acrylic Multi-piece Lens	Range of Powers: -5 to +30 D	$312.00

MA60BM PC IOL, Alcon Acrysof Model

MA30BA PC IOL, Alcon Acrysof model

MA50BM PC IOL, ACRYSOF IOL MODEL

MA60MA

AL005	DUOVISC VISCOELASTIC SYSTEM	PROVISC contains sodium hyaluronate, 	Small & large packs	$110.00

VISCOAT contains chondroitin sulfate and

sodium hyaluronate

AL006	PROVISC VISCOELASTIC SOLUTION	PROVISC contains sodium hyaluronate	0.55mL & 0.85mL packs	$80.00

AL007	VISCOAT Viscoelastic Fluid	Chondroitin sulfate and sodium hyaluronate	0.5mL packs	$80.00

Prostheses List by Category and Sponsor	Page 169 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AL011	Intraocular Lens: Alcon Acrysof Model 	Foldable Acrylic Single-piece Lens, 	Range of Powers: +6 to +40 D	$322.00

SA30AL, Alcon Acrysof Model SA60AT, 	asymmetric optic/consistent edge

SA30AT Intraocular Lens; Alcon Acrysof PC

IOL Model SA65AT

AL012	Alcon Acrysof Model MA30AC PC IOL, 	Foldable acrylic multi-piece lens, asymmetric 	+10 to +30 D	$312.00

Alcon Acrysof Model MA60AC PC IOL	optic/consistent edge

AL013	Perfluoron Kits	Perfluoro-n-octane for use as a retinal surgery 	5mL	$240.00

additive

AL014	Perfluoron Kits	Perfluoro-n-octane for use as a retinal surgery 	7mL	$335.00

additive

AL015	Cellugel viscoelastic fluid	Hypromellose 2%	$95.00

AL016	Alcon Acrysof Natural Model SN60AT	Foldable Acrylic Single-piece Lens, 	+6 to +40D	$364.00

asymmetric optic/consistent edge, with blue

light protection

AL017	Alcon AcrySof ReSTOR PC Diffractive IOL 	Posterior Chamber, UV absorbing, foldable, 	+10.0 to +30.0 D	$780.00	$1,180.00

Model SA60D3	acrylic, single piece lens with apodised

diffractive optic

AL018	SILIKON 1000 Vitreoretinal Surgical Device	Purified polydimethylsiloxane (silicone oil) for	10 mL	$195.00

use as a post-operative retinal tamponade

during vitreoretinal surgery.

AL019	AcrySof Model SN60AS	Foldable Acrylic Single-piece lens, in 	+6 to +40 D	$384.00

cartridge, with blue light protection

AL021	Alcon AcrySof SN60WF	Foldable Acrylic Single-piece Lens with Blue 	+16.0 D to +26.0 D	$385.00

Light Protection and Aspheric Correction

AL022	Alcon AcrySof ReSTOR PC Diffractive IOL 	Posterior Chamber, UV absorbing, foldable, 	+10.0 to +30.0 D	$820.00	$1,250.00

Natural Model SN60D3	acrylic, single piece lens with apodised

diffractive optic and blue light protection.

AL023	Alcon AcrySof Toric PC IOL Models	Posterior chamber, UV absorbing, foldable, 	SN60T3 (1.50 D cylinder), SN60T4	$572.00	$830.00

acrylic, toric, single piece lens with blue light 	 (2.25 D cylinder), SN60T5 (3.00 D

protection	 cylinder), SN60T6 (3.75 D

cylinder), SN60T7 (4.50 D

cylinder), SN60T8 (5.25 D

cylinder), SN60T9 (6.00 D cylinder)

AL024	AcrySof SN60WS	Foldable Acrylic Single-piece Lens with Blue 	+6 to +36 D	$420.00

light protection and aspheric correction, in

cartridge.

Prostheses List by Category and Sponsor	Page 170 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AL025	AcrySof MN60MA	Foldable Acrylic multi-piece Lens with Blue 	+6 to +30D	$364.00

light Protection

AL026	AcrySof MN60AC	Foldable Acrylic multi-piece Lens with Blue 	+6 to +30 D	$364.00

light Protection

AL027	ReSTOR multipiece apodised diffractive blue 	Foldable acrylic mutli-piece lens with apodised	+6 to +30 Diopters	$820.00	$1,220.00

light filtering PC IOL Model MN60D3	 diffractive optic and blue light protection

Austmed Pty Limited

AP002	Mira: Scleral Implants	Silicone Sponge- Retinal Implant Used in 	Sponge- Mira 502 Cylinder 2mm, 	$120.00

Scleral Buckling (Silicone Elastomer Sponge)	Mira 5025 Cylinder 2.5mm, Mira

503 Cylinder 3mm, Mira 504

Cylinder 4mm, Mira 505 Cylinder

5mm, Mira 505G Grooved cylinder

5mm, Mira 505T Packer tunnel

cylinder 5mm, Mira 510 Half

cylinder 5mm, Mira 515 Brucker

two-thirds cylinder 5mm, Mira 501

Masciulli oval 2.5mm by 4mm,

Mira 506 Vaiser oval 3mm by

5mm, Mira 506G Vaiser grooved

oval 3mm by 5mm, Mira 507 oval

5.5mm by 7.5mm, Mira 507G

Grooved oval 5.5mm by 7.5mm,

Mira 507T Packer tunnel oval

5.5mm by 7.5mm, Mira 511 Half

oval 7.5mm, Mira 517 Brucker two-

thirds oval 7.5mm, Mira 509 Fuller

flat oval 3.5mm by 7.5mm, Mira

509G Fuller grooved flat oval

3.5mm by 7.5mm, Mira 518

Frederick grooved flat oval 2.5mm

by 12mm, Mira 508 Frederick flat

oval 4mm by 12mm, Mira 508G

Frederick grooved flat oval 4mm by

12mm, Mira 513 Snyder 3+

meridional 7mm by 4mm, Mira 514

Snyder 4+ meridional 8mm by

5mm, Mira 516G Tapered groove

6.4mm, Mira 519G Tapered groove

7.5mm by 3.2mm.

Prostheses List by Category and Sponsor	Page 171 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AP003	Mira: Scleral Implants	Solid Silicone-Tire/Meridional/Wedge/Pad. 	Tires-Mira 286 Wendel 	$45.00

Retinal Implant used in Scleral Buckling 	Symmetrical Oval Tire 6mm, Mira

(Dimethylmethylvinyl Siloxane Copolymer)	Symmetrical Oval Tire 7mm, Mira

287WG Murray wide (3.5mm)

grooved symmetrical tire, 10mm

wide, Mira 288 ross symmetrical

grooved tire, low profile 10mm wide

by 2.5mm, Mira 289 Symmetrical

oval tire 10mm, Mira

277Symmetrical tire 7mm, Mira

279 Symmetrical tire 9mm, Mira

78G Grooved symmetrical tire

10mm, Mira 281 Symmetrical tire

12.5mm, Mira 275 Munsen

Asymmetrical tire 6mm, Mira 276

Asymmetrical tire 7mm, Mira 278

Brockhurst asymmetrical tire

8.5mm, Mira 280LG Large grooved

asymmetrical tire 10mm, Mira 77G

Grooved hemisphere 26mm.

Meridional- Mira 106 Meridional

Implant 6mm by 10.5mm, Mira 112

Curved Meridional implant 12mm

by 12mm, Mira 103 Meridional

implant 4mm by 15mm. Wedge-

Mira 135 Pruett maxi wedge 14mm,

Mira Pruett midi wedge 12mm,

Mira 190 Spencer sub-implant 5mm

by 10mm. Pad- Mira 80 Pad 4mm

by 8mm, Mira 22 Button 5mm by

5mm

AP004	Mira: Scleral Implants	Solid Silicone-Sleeve. Retinal Implant used in	Sleeves-Mira 70 Sleeve 1mm I.D., 	$25.00

Scleral Buckling (Dimethylmethylvinyl 	Mira 71 Sleeve 1mm I.D., Mira 72

Siloxane Copolymer)	McNutt Sleeve 1.57mm I.D., Mira

270 Sleeve 0.76mm I.D.

Prostheses List by Category and Sponsor	Page 172 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AP006	Mira: Scleral Implants	Solid Silicone-Band/Strip/Boat/Clip. Retinal 	Bands-Mira 40 Circling Band 2mm,	$35.00

Implant used in Scleral Buckling 	 Mira 240 Circling Band 2.5mm.

(Dimethylmethylvinyl Siloxane Copolymer)	Strips-Mira 41 Strip 3.5mm, Mira

42 Strip 4mm, Mira 20 Strip 4mm,

Mira 219 Strip 4.5mm, Mira 31

Strip 4.5mm, Mira 32 Strip 5mm,

Mira 225 Oval Strip 5mm, Mira

220 Strip 6mm. Boats-Mira 60 Boat

2mm, Mira 260 Boat 2.5mm.

Clips-Mira 50 Double Tantalum

Clip 2mm, Mira 250 Double

Tantalum Clip 2.5mm, Mira 51

Singla Tantalum Clip 3.5mm, Mira

52 Joondeph Single Tantalum Clip

4mm

Austramedex (VIC) Pty Ltd

AR022	Medpor Coated Tear Drain	Jones Tube with polyethylene coating. Models	11 sizes, 3.5mm x 14mm to 3.5mm	$320.00

81114 - 81120, 81122, 81124, 81126 and 	 x 28mm

81128

Bausch & Lomb Surgical

BL001	Adato Sil-ol Silicone Oil (various viscosities)	Adato Sil-Ol Silicone Oil 1000	10mL	$195.00

BL002	Adato Sil-ol Silicone Oil (various viscosities)	Adato Sil-Ol Silicone Oil 5000	10mL	$195.00

BL003	Adeto Deca (various)	Adato Deca Perfluorodecacarbon	5mL	$240.00

BL004	Adato Octa	Adato Octa Perfluorooctacarbon	5mL	$240.00

BL005	Storz (Coburn) Intraocular Lens  121UV; 	PMMA Anterior Chamber Intraocular lens 1 	13.75mm length. 6.0mm optic size,	$156.00

L122UV PMMAA Anterior Chamber Lens	piece	 diopter range 3-30d. L122UV:

6.0mm optic, 13.75mm length,

power range; 5.0 to 30.0 Diopters

BL006	Posterior chamber IOLS model P359 UV, 	PMMA Posterior Chamber lens 1 piece;	12.25mm to 13.75mm length. 	$156.00

P399 UV, 68 UV, 95 BUV, or lolab PC One 	5.5mm to 7mm optic size, diopter

Piece, model 6741B, 8591B, 8191B; Model 	range -4.5 - 45d to 10 - 34d; EZE-

EZE-Fit 65	Fit 65: 6.5mm optic, 13.35mm

length, Power range: 10.0 to 30.0

Diopter

BL007	Hydroview Intraocular lens Model H60M	Foldable Hydrogel Lens  Hydrogel Posterior 	12.50mm length, 6.0mm optic size,	$281.00

Chamber Foldable lens 1 piece	 diopter range 15-30d

BL008	Ocucoat Intraocular Fluid	20mg/mL hydroxypropylmethyl cellulose for 	1mL sterile	$95.00

intraocular use

Prostheses List by Category and Sponsor	Page 173 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BL009	Soflex UV Absorbing  Silicone Posterior 	Foldable Intraocular Lens  Silicone Posterior 	13.00mm length, 6.0mm optic size,	$281.00

Chamber  IOL Model LI61U	Chamber Foldable Lens 3 piece	 diopter range 5-30d

BL010	Chiroflex Model C11UB	Intraocular Lens Foldable Plate Haptic  	10.50m length, 6.0mm optic size, 	$281.00

Silicone Posterior Chamber Foldable Plate 	diopter range 10-30d

Haptic Lens 1 piece

BL011	Storz E5381 Silicone Strip	Silicone Sleeve	1.65mm to 2.2mm diameter, length 	$32.00

6.1mm to 30mm

BL012	Storz E5395 3 Cylindrical Sponge Implant	Retinal Fixation Device	2.3mm x 2.5mm x 80mm, to 	$196.00

7.5mm x 7.5mm x 100mm

BL013	Storz E5381 Silicone Strip	Silicone Tire	Outside diameter 30.2m to 33.6mm,	$32.00

inner diameter 26mm, overall

length 10.4mm to 125mm

BL014	Storz E5381 Silicone Strip	Circling Band	Overall length 10.4mm to 125mm	$30.00

BL015	Amvisc Plus injection	15mg/mL Sodium Hyaluronate for intraocular 	0.5mL and 0.8mL	$95.00

use

BL016	Oxane LMWC Fractioned Silicone Oil	Purified fractioned silicone oil	10mL	$195.00

BL017	Perfluo-octane (Oktaline) Okta-Line	Perfluorocarbon Liquid  for use as a retinal 	5mL	$240.00

surgery additive

BL018	DK Line 100% purified perfluorodecalin	Perfluorodecalin	7ml	$335.00

BL019	Akreos Fit acrylic foldable posterior chamber 	Composition: Hydrophilic acrylic polymer.  	10.0 to 15.0 Diopter in 1.0 Diopter 	$322.00

intraocular lens	Packaged in lens folding device in a sterile 	increments; 15.0 to 25.0 Diopter in

vial.  Modified C-Loop design	0.5 Diopter increments; 25.0 to 30.0

Diopter in 1.0 Diopter increments

BL020	Akreos Adapt acrylic foldable posterior 	Composition: Hydrophilic acrylic polymer.  	10.0 to 15.0 Diopter in 1.0 Diopter 	$322.00

chamber intraocular lens	Packaged in lens folding device in a sterile 	increments

vial.  Four haptic design	15.0 to 25.0 Diopter in 0.5 Diopter

increments

25.0 to 30.0 Diopter in 1.0 Diopter

increments

BL021	SoflexSE, Intraocular lenses, Posterior Chamber	Composition: silicone, Lenses - foldable, 	Range of powers: 5.0 to 30.0 	$322.00

posterior chamber intraocular lenses	Diopter - Optic diameter 6.0mm;

13.0mm length

Prostheses List by Category and Sponsor	Page 174 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BL022	SofPort Advanced Optic (AO)	Posterior chamber, foldable silicone IOL with 	0 D to 30.0 D	$364.00

anterior optic-haptic square edge, posteriof

optic-haptic square edge, 360-degree optic

square edge and asperic optic for aberration

control

BL023	Akreos Advanced Optic	Posterior chamber, foldable acrylic IOL, with 	0 D to 30.0 D	$364.00

anterior optic-haptic square edge, posterior

optic-haptic square edge, 360 degree optic

square edge and aspheric optic for aberration

control

BL024	Oxane HD	Silicone oil - RMN3 mixture	10ml	$195.00	$290.00

BL025	SofPort Advanced Optic (AO) Violet Shield	Posterior chamber, aphakic, foldable silicone, 	6mm optic 13mm overall length	$406.00

anterior & posterior edge modification 	Modified  C 5 degree angulation 0-

intraocular lens with aberration technology, a 	30D, 0.5D steps

violet light

BL026	Akreos AO Micro Incision Lens	Micro Incision, posterior chamber, foldable 	6mm optic overall diameter 	$385.00	$510.00

acrylic, aphakic, anterior & posterior edge 	11.0mm(10D-15D), 10.7mm

modification, preloaded, with aberration 	(15.50-22D), 10.5mm (22.50-30D)

contro, intraocular lens

BR & CT Enterprises Pty Ltd

BC005	LIDCHAIN Platinum Eyelid Implant	Platinum	Weights - 0.8, 1.0, 1.2, 1.4, 1.6, 	$1,650.00

1.8 grams

ConceptVision Australia Pty Ltd

CS001	Staar foldable silicone intraocular lens: Model 	Plate haptics 6.0mm; Polymide haptics 5.5 or 	10.8mm - 13.5mm length;	$281.00

AA4203VF; Model AA4204VF; AA4204VL;	6.3mm optic;

CS002	Staar Toric foldable silicone intraocular lens: 	Plate haptics 6.0mm optic	10.8mm - 11.2mm length	$411.00

Model AA4203TF; Model AA4203TL

CS003	Staar foldable silicone intraocular lens: Model 	Polyimide haptics 6.3mm optic - low diopters	14.0mm length	$229.00	$370.00

AQ 5010V

CS004	Eyeonics Inc Crystalens	Silicon Multipiece Folding Accommodating 	Optic Diameter:  4.5mm; Overall 	$450.00

Intraocular Lens	Length:  11.5mm

CS005	Staar foldable silicone intraocular lens: KS-3 	Silicone, foldable, polyamide haptics	6mm Optic, 12.5mm overall length	$302.00

Model AS310NV

CS007	Staar foldable silicone IOLs: Models 	Plate haptics 6.0mm; Polymide haptics 5.5 or 	10.8mm 0 13.5mm length	$281.00

AQ2010V, AQ2017V and AO2003V	6.3mm optic;

Prostheses List by Category and Sponsor	Page 175 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CS008	Preloaded Aspheric Intraocular Lens	Silicone intraocular lens	6.0mm	$345.00

Design for Vision Pty Ltd

DV003	DORC Retinal Implants	Bands and strips	Bands 2 - 2.5mm, strips 2 - 4mm	$26.20

DV005	Gold Eyelid Load 	Small Range - standard	0.6g, 0.8g, 1.0g, 1.2g, 1.4g, 1.6g 	$390.00

DV007	Gold Eyelid Load 	Large Range	1.8g, 2.0g, 2.2g, 2.4g, 2.6g, 2.8g  	$780.00	$824.00

DV009	Morcher Capsular Tension Ring	PMMA Implant	14, 14A, 14C	$144.40

DV010	Morcher Coloboma Diaphram 	PMMA Implant	96G, 96L	$247.00

DV012	Gold Eyelid Load	Small range - thin profile	0.6g, 0.8g, 1.0g, 1.2g, 1.4g, 1.6g	$390.00	$412.00

DV013	DORC Retinal Implants	Tantalum clips	2 - 2.5mm	$38.00	$45.00

DV014	DORC Retinal Implants	Sleeves	0.76 x 1.65mm and 1 x 2.1mm	$18.00

DV015	DORC Retinal Implants	Tires	1 - 1.9mm thick, 7 - 11mm wide: 4 	$42.00	$47.00

styles

DV016	DORC Retinal Implants	Sponges	3 - 5mm round, 3 - 5.5mm oval	$85.00

DV017	Molteno Implant	Single plate	One size only	$315.00	$345.00

DV018	Molteno Implant	Single plate - dual chamber	One size only	$340.00	$380.00

DV019	Molteno Implant	Double plate	One size only	$425.00

DV020	Molteno Implant	Double plate - dual chamber	One size only	$510.00

DV021	Eyetec DCR Tubes	Stainless steel, silicone tubing, Crawford 	32cm	$130.00

lacrimal intubation set

DV022	Eyetec DCR Tubes	Stainless steel, silicone tubing, Bodkin 	30cm	$37.33

lacrimal intubation set

DV023	Eyetec DCR Tubes	Stainless steel, silicone tubing, Canaliculus 	30cm	$98.00

lacrimal intubation set

DV025	Sil-1000S	Silicone 1000 oil	10 ML Syringe	$165.00

DV026	Sil-5000S	Silicone 5000 oil	10 ML preloaded syringe	$165.00

DV027	Eftiar Decalin	Eftiar Decaline	5 ML Vial	$240.00	$251.00

DV028	Eftiar Octane	Eftiar Octane	5 ML Vial	$240.00	$251.00

DV029	Eyejet CRT	Capsular tension ring made of PMMA per-load	14 (10mm), 14C (11mm), 14A 	$200.00

on disposable injector	(12mm)

DV230	Molteno 3	Drainage implant for glaucoma, made of silicon	2 Sizes: *230 mm square *175mm 	$715.00

square

Prostheses List by Category and Sponsor	Page 176 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE177	Lester Jones Tear Duct Tubes	Glass	3 x 9 to 16mm, 3.5 x 9 to 18mm, 	$56.00

4.0 x 9 to 24mm, 5.0 x 9mm

DE178	Silicon Retinal Implant	Sponge	2.5 x 4.0 x 80mm, 3.0 x 5.0 x 	$75.00

100mm, 3.25 x 7.0 x 80mm, 5.5 x

7.5 x 80mm, 1.5 x 80mm, 2.0 x

80mm, 2.5 x 80mm, 3.0 x 80mm,

4.0 x 80mm, 5.0 x 80mm, 7.0 x

80mm

DE179	Silicon Retinal Implant	Tire 	7.0, 9.0, 12.5, 6.0, 8.5, 10.0mm	$38.00

DE180	Silicon Retinal Implant	Sleeve	1mm, .76mm, 1.5mm	$14.00

DE181	Silicon Retinal Implant	Band	0.75 x 2.0 x 125mm, 0.60 x 2.5 x 	$30.00

125mm, 0.75 x 2.5 x 125mm

DE182	Lid Load Gold Eyelid Weights;	Gold	1.8, 2.0, 2.2, 2.4, 2.6, 2.8 grams	$800.00

DE183	Lid Load Gold Eyelid Weights;	Gold	0.6, 0.8, 1.0, 1.2, 1.4, 1.6 grams	$425.00

DE184	Hydroxyapatite Ocular Implant (orbital sphere)  	Coral	16 - 22mm	$1,200.00	$1,300.00

DE187	P-K Flat Headed Peg and Sleeve Set	Titanium	One size only	$66.00

DE188	Acrylic Implant	Acrylic	12, 14, 16, 18, 20mm.	$35.00	$52.00

DE199	The Gladston/Putterman Tubes by Gunther 	Glass	3.0mm x 10 to 16mm; 3.5mm x 9 	$154.00

Weiss	to 18mm; 4.0mm x 12 to 19mm

DE200	Bayliss Tubes by Gunther Weiss	Glass	3.0mm x 10 to 16mm; 3.5mm x 9 	$180.00

to 18mm; 4.0mm x 12 to 19mm

DE201	Labtician Tantalum Clips	Tantalum	2, 2.5mm	$38.00

DE202	John Weiss Glass Mule Globes	Glass	No: 12, 14, 16, 18, 20mm	$53.00

DE203	Katena Plastic Eye Sphere's Non Sterile	Acrylic	No: 10, 12, 14, 16, 18, 20, 22mm	$35.00

DE204	Arcaline (Perfluorodecaline)	Liquid perfluorocarbon aid for retinal surgery, 	3ml, 5ml, 7ml	$202.00

operative device for retinal surgery, in

particular retinal detachment (RD), RD with

giant tear etc.

DE205	Arcotane (Perfloro-N-Octane)	Liquid perfluoro-N-Octane aid for retinal 	5ml, 7ml	$202.00

surgery, pre-operative device for retinal surgery,

in particular retinal detachment (RD), RD

with giant tear, RD with proliferative vitreal

retinopathy (PVR) etc.

Prostheses List by Category and Sponsor	Page 177 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DE207	Hanita EndoCapsular Ring (ECR)	Maintains the stability and a perfect circular 	One Size Only	$196.00

contour of the capsular bag equator in cases of

intraoperative, traumatic or congenital zonular

dialysis.

DE227	LSO Silicone Oil	Silicone oil for tamponade use in vitreoretinal 	Vial - 10 ml	$189.00

surgery

DE228	LSO Silicone Oil	Silicone oil for tamponade use in vitreoretinal 	Syringe - 10 ml	$195.00

surgery

DE229	LSO Silicone Oil	Silicone oil for tamponade use in vitreoretinal 	Combo Pack with Syringe - 10 ml	$195.00	$275.00

surgery

DE253	MicroSil Toric IOL	Silicone Lens (MS6116TU) Standard Range -	Lens Dia =6.00mm Haptics Dia 	$520.00	$716.00

3.00 to 31.00 Dioptres in 0.5 steps with 	=11.6mm

cylinder from 2.00 to 12.00 Dioptres

DE254	MicroSil Toric IOL	Silicone Lens (MS6116TU) Semi-Custom 	Lens Diameter = 6.00mm Haptics 	$520.00	$958.00

Range -3.00 to 31.00 Dioptres with 1.0 steps, 	Dia = 11.6mm

Cylinder from 3.0 - 14.0 Dioptres

DE255	MicroSil Toric IOL	Silicone Lens (MS6116TU) Custom made 	Lens Dia = 6.00mm Haptics Dia = 	$520.00	$1,537.00

range: -28 to +31 Sphere and up to 30D 	11.6mm

cylinder

DE260	ICU Akkomodative® IOL	ICU Akkomodative IOL- Acrylic lens Range 	Lens Dia =5.5mm Haptics Dia 	$490.00	$950.00

15-35 Dioptres in 0.5 steps	=9.8mm

DE263	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Micrincision Posterior 	6.D-40.0D	$281.00	$390.00

Chamber Lens

MC611M1

DE264	MicroCryl Acrylic Introcular lenses	Foldable Monobloc Posterior Chamber Lens	6.0D-40.0D	$312.00	$395.00

MCX11ASP

DE269	MicroPlex Capsular Tension Ring	PMMA, highly flexible	11mm - 13mm	$168.00

Emagin Pty Ltd

EG001	Capsular Tension Rings Clear	PMMA Implant	10/08, 12/10, 13/11mm	$132.00	$143.00

EG002	Iris Prosthetic System Single Element	PMMA Implant	1/4, 1/3mm	$414.00	$455.40

EG003	Iris Prosthetic System Double Element	PMMA Implant	2/3, 2/4mm	$414.00	$455.40

Prostheses List by Category and Sponsor	Page 178 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EG004	Intracorneal Rings	PMMA	Thickness 0.210mm - 150 degrees 	$1,110.00	$1,188.00

Arc Length; Thickness 0.250mm -

150 degrees Arc Length; Thickness

0.275mm - 150 degrees Arc Length;

Thickness 0.300mm - 150 degrees

Arc Length; Thickness 0.325mm -

150 degrees Arc Length; Thickness

0.350mm - 150 degrees Arc Length;

Thickness 0.400mm - 150 degrees

Arc Length; Thickness 0.450mm -

150 degrees Arc Length

EG005	Capsular Tension Rings Coloured	PMMA Implant	10/08, 12/10, 13/11mm	$144.00	$159.00

EG006	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model Myopia	5.00mm Optic Diameter x 7.5 in 	$680.00

Composition: PMMA	overall length; 5.00mm Optic

Diameter x 8.5 in overall length;

6.00mm Optic Diameter x 8.5 in

overall length

EG007	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model Hyperopia	5.00mm Optic Diameter x 8.5 in 	$680.00

Composition: PMMA	overall length

EG008	Artisan Anterior Chamber Intraocular Lens	Phakic Intraocular Lens: Model Toric	5.00mm Optic Diameter x 7.5 in 	$888.00	$1,538.00

Composition: PMMA	overall length

EG009	Artisan Anterior Chamber Intraocular Lens	Aphakia Model	5.00mm Optic Diameter x 8.5 in 	$156.00	$298.00

Composition: PMMA	overall length

EG010	Artiflex Anterior Chamber Intraocular Lens	Optic: Hydrophobic Polysiloxane. Haptic: 	6mm optic diameter x 8.5 in overall	$723.00	$880.00

PMMA	 length

Hydron Pty Limited t/a Cooper Vision Surgical

HY001	AlphaCor A & P	Composition poly 2 (hydroxyethyl 	AlphaCor A - Diameter 7mm, 	$9,220.00

methacrylate)	thickness 0.6mm, radius of curvature

8.0/8.0mm; AlphaCor P - Diameter

7.0, thickness 0.6mm, radius of

curvature 9.0/9.0mm

Insight Surgical Pty Ltd

IS001	Preloaded Capsulan Tension Ring	Capsular tension ring preloaded (acrylic)	13/11mm	$315.00

IS007	OII PMMA Capsular Tension Ring	Capsular Tension Ring - PMMA	12mm and 13mm	$135.00

Prostheses List by Category and Sponsor	Page 179 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

IQ Medical

IQ001	UltraChoice 1.0 Rollable Thinlens Model 	Acrylic, single piece, rollable, refractive 	Dioptric powers from 10.0 to 30.0 D	$323.00	$675.00

PHC001	multifocal with monofocal function meniscus

optic, accommodating intraocular lens with 50

micron edge

IQ002	Ocuvis and Ocumax 2% 	20mg/mL hydroxypropylmethyl cellulose for 	2mL sterile	$90.00

Hydroxypropylmethylcellulose	intraocular use. Pre-loaded in a sterile syringe

with one cannula for injection, in a sterile

Tyvek pouch

IQ003	Tetraflex	Acrylic single piece, foldable accommodating 	Available in dioptric powers from 	$490.00	$850.00

intraocular lens with sqare edge design, custom	+5.0 to +36.0, 1D steps: +31.0 to

control precision and closed loop haptic design	+36.0; 0.5D steps: +5.0 to +18.0

and +25.0 to +30.0; 0.2D steps;

+18.0 to +25.0

IQ004	Softec	Acrylic, single piece, foldable intraocular lens 	Available in dioptric powers from -	$364.00

with anterior and posterior optic-haptic square 	5.0 to +36.0, 1D steps: -5.0 to

edge, 360 degree optic square edge design, 	+10.0 and +31.0 to +36.0; 0.5D

precision power calculation and aberration 	steps: +10.5 to +18.0 and +25.0 to

technology	+29.5; 0.25D steps: +18.0 to +25.0

Kevin Grundy (IBD) Pty Ltd

KG001	Rayner C-Flex	Hydrophilic HEMA-MMA copolymer, foldable	5.75mm dia optic, 12.00mm dia 	$322.00

with injector	overall

KG002	Superflex	Hydrophilic HEMA-MMA copolymer, foldable	6.25mm dia optic, 12.5mm dia 	$322.00

with injector	overall

KG003	Rayner Standard Toric C-Flex	Hydrophilic HEMA-MMA copolymer, foldable	5.00mm dia optic, 12.00mm dia 	$530.00	$900.00

with injector	overall, cyls 2.0D to 6.0D in 2D

increments

KG004	Rayner Premium Toric C-Flex	HEMA-MMA copolymer, foldable with injector	5.75mm dia optic, 12.00mm dia 	$530.00	$1,800.00

overall, cyls 1.5D to 11.0D in 0.5D

increments

Spectrum Ophthalmics

SO001	T.Flux: Non-Absorbable Galucoma Drain	-	One size only	$945.00

SO002	Tensiobag: Capsular Tension Ring	PMMA	Diameter 10 - 14mm	$200.00

SO006	FCI Orbital Implants	Orbital Implant, Bioceramic (Aluminium 	Bioceramic diameter, 12, 14, 16, 	$1,000.00

Oxide)/Hydroxyapatite (Synthetic)	18, 20, 21, 22mm; Synthetic

Diameter, 10, 12, 14, 16, 18, 20,

22mm

Prostheses List by Category and Sponsor	Page 180 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SO007	FCI Orbital Implants	Mesh wrapped orbital implant: mesh wrapped 	Bioceramic diameter: 16, 18, 20, 	$1,500.00

bioceramic (aluminium oxide), mesh wrapped 	22mm; Synthetic Hydroxyapatite

hydroxyapatite (synthetic), mesh wrap 	diameter: 16, 18, 20, 22mm

(polyglycolic acid)

SO009	FCI Scleral Buckling Devices	Band/strip: solid silicone	Band - 2.0 x 0.75mm Type 40, 3.5 	$35.00

x 0.75mm Type 41, 4.0 x 1.25mm

Type 42, 2.5 x 0.6mm Type 240,

Morin 3.5 x 0.6mm

Strip - 5.7mm Type 20, 7.2mm

Type 31, 9.2mm Type 32, 6mm

Type 219, 7.5mm Type 220, 8mm

Type 225

SO010	FCI Scleral Buckling Devices	Fixation Sleeve: Solid silicone	O.D: 1.65 to 2.41mm, Length 	$30.00

30mm

SO011	FCI Scleral Buckling Devices	Tire: Solid Silicone	Symmetrical: (2.5 mm Groove, 7 to	$40.00

9mm wide), Biconvex: (2.5mm

Groove, 7 to 10mm wide),

Asymetrical: (2.5mm Groove, 7 to

10mm wide)

SO012	FCI Scleral Buckling Devices	Sponge/Cord: Silicone	Cord: 1.0 to 5.0mm O.D. x 150mm	$120.00

length; Half Cord: 3.0mm to width

x1.5mm to 2.5mm height x150mm;

Circular Sponge: 3 to 5mm; Oval

Sponge: 2 to 5.5mm x 4 to 12mm;

Half Sponge: 2 to 3.1mm x 4 to

7.5mm; Grooved Sponge: 3 to 5mm

x 5 to  12mm; Gain Sponge: 6 x

2.5mm; Sahal Sponge: 4 to 5mm x

5 to 7mm

SO013	FCI Scleral Buckling Devices	Strip: Solid Silicone	Strip: 1.4 x 4.4 x 100mm, Morin 	$150.00

Strip: 7mm wide x 100mm long,

Caputo Zip Strip: 7 to 9mm wide x

120mm long, Korobelnik Oval

Strip: 2 x 5mm

SO014	FCI Scleral Buckling Devices	Band: Solid Silicone	Devin Band: 1 x 4 x 120mm, 	$105.00

Ducournau Band: height 2 to 2.5 x

5.5 to 7.5mm x length 120mm,

Ducournau Band II: 2.1 x 5.5 x

120mm

Prostheses List by Category and Sponsor	Page 181 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SO015	FCI Scleral Buckling Devices	Band: Expanded PTFE	Ducournau Band: 2.5 x 5.5 to 	$455.00

7.0mm x 120mm, Band: 0.5mm to

2.1 x 2.5mm to 15 x 120mm

SO016	FCI Scleral Buckling Devices	Sponge/Strip: Expanded PFTE	Circular Sponge: 3 to 5 x 90mm, 	$375.00

Oval Sponge: 2 to 4mm x 3 to 5 x

90mm, Half Sponge: 2.5 x 7.5 x

120mm; Strip: 9 x 90mm

SO017	FCI Ptose-up	Expanded PTFE	15cm long x 2 or 3mm wide x 	$315.00

0.35mm thick

SO018	FCI Eyelid Spacer (Upper & Lower Lids)	Expanded PTFE	Upper Lid: 20 x 4-16 x 0.35mm; 	$530.00

Lower Lid: 20 x 4-16 x 1mm

SO019	FCI Obrbital Implants	Peg & Sleeve	Standard Large	$750.00

Prostheses List by Category and Sponsor	Page 182 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SO020	FCI Lacrimal Intubation Set	Silicone Tubing/Silicone Plug/Metal 	Bika: 0.64mm O.D. Tube/80 x 	$180.00

Probes/Polypropylene Thread	0.8mm probes, Bika 1.18: 1.18mm

O.D. Tube/40 x 1.2mm probes,

Bika for DCR: 0.94mm O.D.

Tube/50 x 0.8mm probes, Infant

Bika 0.64mm O.D. Tube/55 x

0.7mm probes, Infant Bika II:

0.64mm O.D. Tube/60 x 0.8mm

probes, Besancon-Nancy Probe:

0.64mm O.D. Tube/80 x 0.8mm

probes, Crawford Probe: 0.64mm

O.D. Tube/0.7mm thick probes,

FCI 2 Probe: 0.64mm O.D.

Tube/80 x 0.8mm probes, Ptosis

Probe: Tube/80 x 0.8mm probes,

Mini Monoka: 0.64 x 40mm

Tube/2mm Plug, Perforated Mini

Monoka: 0.64 x 40mm Tube/2mm,

Perforated Plug, Medium Collarette

Monoka, Wide Collarette Monoka:

0.64mm O.D. Tube/80 x 0.8mm

probes/4mm Plug, Wide Collarette

Monoka for Infants: 0.64mm O.D.

Tube/60 x 0.8mm probes/4mm

Plug, Ritleng Lacrimal Intubation

Set: 0.64mm O.D. Tube/

Polypropylene thread, Self-

Threading Monoka Ritleng Type:

0.64mm O.D. Tube/Polypropylene

thread/4mm Plug, Medium

Collarette Self-Threading Monoka

Ritleng Type

Prostheses List by Category and Sponsor	Page 183 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SO021	FCI Lacrimal Intubation Set	PVP Coated Silicone Tubing/PVP Coated 	PVP Bika: 0.64mm O.D. Tube/80 	$230.00

Silicone Plug/Metal Probes/Polypropylene 	x 0.8mm probes, PVP Differential

Thread	Bika: 0.64 & 1.18mm O.D.

Tube/40 x 1.2mm probes, PVP

Bika for DCR: 0.94mm O.D.

Tube/50 x 0.8mm probes, PVP

Infant Bika 0.64mm O.D. Tube/55

x 0.7mm probes, PVP Infant Bika

II: 0.64mm O.D. Tube/60 x 0.8mm

probes, PVP Besancon-Nancy

Probe: 0.64mm O.D. Tube/80 x

0.8mm probes, PVP Ritleng

Lacrimal Intubation Set: 0.64mm

O.D. Tube/Polypropylene thread,

PVP Mini Monoka: 0.64 x 40mm

Tube/2mm Plug, Wide Collarette

PVP Monoka: 0.64mm O.D.

Tube/80 x 0.8mm probes/4mm

Plug, Self-Threading PVP Monoka

Ritleng Type: 0.64mm O.D., Tube/

Polypropylene thread/4mm Plug,

PVP Metaireau Tube Oval Collar:

40mm Tube/4mm Plug, PVP

Metaireau Tube Round Collar:

40mm Tube/4mm Plug,

Lacosystem: Tube

/Probe/Polypropylene thread

SO022	FCI Purified Silicone Oil (Solvent Free)	Viscosity: 1000 cst/5000 cst: solvent free 	10ml	$195.00	$240.00

purified silicone oil

SO023	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, FCI - 	5ml	$240.00	$280.00

OCTA: Purified perfluoro-N-octane

SO024	FCI - DECA, FCI - OCTA	FCI - DECA: Purified perfluorodecalin, FCI - 	7ml	$335.00

OCTA: Purified perfluoro-N-Octane

SO025	Ophthalin 1% w/v sodium hyaluronate	Aqueous/vitreous humour replacement medium	1 x 1.0mL	$80.00	$120.00

kits

SO026	Flexiring Capsular Tension Ring	Flexizone Hard and Soft Acrylic	Diameter 10 - 14 mm	$295.00

SO028	IOLTECH Intraocular Lens: Model Bigbag	IOLTECH Hydrophilic acrylic, foldable, PC, 	6.5mm optic diameter x 10.35 	$322.00	$468.00

single piece, Tri-haptic, square edge design, 	overall diameter

UV blocker

Prostheses List by Category and Sponsor	Page 184 of 549

OPHTHALMIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SO029	IOLTECH Intraocular Lens: Model MF4	Multifocal IOLTECH hydrophilic acrylic, 	6.00mm optic diameter x 10.5mm 	$676.00

foldable, PC single piece, Tri-haptic, square 	overall diameter

edge design, UV blocker

SO030	IOLTECH Intraocular Lens: Model ACOR	Pseudo Phakic IOL, IOLTECH hydrophilic 	5.75mm - 6.0mm optic diameter x 	$520.00	$707.00

acrylic, foldable, PC, single piece, square 	12.5mm - 13.5mm overall diameter

edges, UV blocker

SO031	IOLTECH Intraocular Lens, Model Stabibag, 	IOLTECH hydrophilic acrylic, foldable, CP, 	5.5mm to 6.0mm optic x 10.5mm 	$322.00

Model XL Stabi	single piece, square edge design, UV blocker, 	to 10.75mm overall diameter

Tri-haptic

SO032	IOLTECH Intraocular Lens, Model Stabibag 	IOLTECH hydrophilic acrylic, foldable, CP, 	5.5mm to 6.0mm optic x 10.5mm 	$343.00

RTU, Model XL Stabi RTU/Sky	single piece, square edge design, UV blocker, 	to 10.75mm overall diameter

Tri-haptic, Ready to use single use pre-loaded

SO033	IOLTECH MICS IOL	IOLTECH Hydrophilic acrylic, Anti vault 	5.5mm - 6.0mm optic X 12mm 	$322.00	$395.00

haptics, PC, single piece, square edge design, 	overall diameter

UV blocker, contains single use inserter

SO034	Hydromax	Hydrophobic Acrylic, Foldable, PC, 3-Piece, 	6.0mm Optic x 12.5mm Overall 	$312.00	$322.00

Square Edge Design, UV Blocker	Diameter

SO035	Ethos	Hydrophobic Acrylic, Foldable, PC, 3-Piece, 	6.0mm Optic x 12.5mm Overall 	$332.00	$350.00

Square Edged Design, UV Blocker, Pre-	Diameter

Loaded

SO036	XL Stabi ZO, Invent ZO	Hydrophilic Acrylic, Foldable, PC, Single 	6.0mm Optic x 10.5mm Overall 	$354.00	$364.00

Piece, Square Edge Design, UV Blocker, Tri-	Diameter

haptic, Quad Haptic, Aspheric Optic

SO037	XL Stabi ZO Sky, Invent ZO Sky	Hydrophilic Acrylic, Foldable, PC, Single 	6.0mm Optic X 10.5mm Overall 	$374.00	$390.00

Piece, Square Edge Design, UV Blocker, 	Diameter

Trihaptic, Quad Haptic, Aspheric Optic, Pre-

Loaded

Advanced Surgical Design & Manufacture Ltd

AE007	MF-Cortex Screw	Titanium	1.0 - 2.7mm dia,  length 2 - 40mm	$14.00	$31.00

AE012	ASDM Bone Screw	Titanium 	2.0 - 6.5mm dia, length 4-150mm	$41.00

AE013	Shaft Screw, Pure 	Threaded Pin, Manufactured from pure Titanium	3.2 x 50 - 100mm, 4.0 x 70 - 110mm	$74.00	$290.00

AE036	Opening Wedge Tibial Ostectomy Plate	Titanium	6mm - 20mm	$975.00

AE039	Active Knee System	Cemented Femoral Component	Sizes 00 - 5 Left & Right	$3,293.00

AE040	Active Knee System	Tibial Component Cemented	Sizes 1-5 	$1,976.00

Prostheses List by Category and Sponsor	Page 185 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AE041	Active Knee System	Cementless  Femoral Component	Sizes 00 -- 5 Left & Right	$4,142.00

AE042	Active Knee System	Bone Screw Titanium	20mm - 50mm	$135.00

AE043	Active Knee System	Tibial Component Cementless	Sizes 1-5 	$2,652.00

AE044	Active Mobile Bearing	Tibial Tray - Cemented	Sizes 1-5	$2,081.00

AE045	Active Mobile Bearing	Tibial Tray - Cementless	Sizes 1-5	$2,944.00

AE046	Active Mobile Bearing	Meniscal Insert	Sizes 1 - 5 Thickness 6 - 9.5mm	$936.00	$1,121.00

AE047	Active Knee System	Ultracongruent Meniscal Insert	Sizes 1 - 5 Thickness 6 - 17.5mm	$972.00	$1,121.00

AE049	Other Active Knee Components	Meniscal Insert	Sizes 1 - 5 Thickness 6 - 15.5mm	$945.00	$1,051.00

AE050	Other Active Knee Components	Patella	Sizes 1 - 5	$483.00	$613.00

AE051	ASDM Bone screw	Titanium	Dia 5 - 11 mm, length 20 - 50mm	$140.00

AE052	ASDM K-wire	Stainless steel - sterile	Dia 0.7 - 2.5mm, length 100 - 	$11.00	To be funded where any or all K-

230mm	wires used in a procedure are used as

an implant.

AE068	ASDM Clavicle Compression System	Clavicle Compression Pin	3.2 & 4.0 mm x 50mm - 130mm	$243.00	$690.00

Titanium Screw, Double Threaded

AE069	Threaded wires & pins	Threaded wires & pins	1.0-5.0mm diameters	$89.00

various threaded lengths

AE070	ASDM Steinmann Pin	Steinmann Pin	2.8-5.0mm diameter	$33.00

AE071	Active Knee Revision System - Tibial Full 	Posterior Femoral Block	1 - 5, 4 - 8mm	$1,250.00

Block Wedge

AE072	Active Knee Revision System - Femoral Distal	Distal Spacer	1 - 5, 4 - 8mm	$1,250.00

Spacer

AE073	Active Knee Revision System	Distal Posterior Spacer	1-5,  4 - 8mm	$1,250.00

AE074	Active Knee Revision System - Tibial Half 	Half Block Wedge	1-5, 5 - 10 Deg	$1,500.00

Block Spacer

AE075	Active Knee Revision System	Revision Extension Stem	11 - 13 Dia, 60 - 100mm	$1,600.00

AE076	Active Knee Revision System - Tibial Full 	Full Block Wedge	1-5,  5 - 10 Deg	$1,500.00

Block Wedge

AE077	Active Knee Revision System - Half Block 	Half Block Wedge	1-5,  5 - 10 Deg	$1,500.00

Wedge

AE078	Active Knee Revision System	Revision Stem Tibia	1-5,  A & B	$1,700.00

Prostheses List by Category and Sponsor	Page 186 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AE079	Active Knee Ultra Plus Meniscal Insert	UHMWPE Tibial Insert Posterior Stabilised - 	1 - 5, 6 - 17.5mm Thickness	$1,144.00	$1,942.00

Fixed

AE080	Carpal Fusion System Screw	316L Stainless Steel, Low Profile Custom 	2 - 7 mm Diameter 12 - 24mm 	$440.00

Thread Screw	Length

AE081	Titan Plate & Screw System	Plates & Screws	3 Plates 6 Screws	$900.00

AE082	Titan Plate & Screw System	Fan Blade & Screws	1 Fan Blade 6 Screws	$654.00

AE083	Titan Plate & Screw System	Straight Plates	3 Plates	$444.00

AE084	Titan Plate & Screw System	Straight Plate	1 Plate	$148.00

AE085	Titan Plate & Screw System	Titan X Drive Screws	2 Screws	$152.00

AE086	Titan Plate & Screw System	Titan X Drive Screws	3 Screws	$228.00

AE088	Titan Plate & Screw System	Titan X Drive Screws	5 Screws	$380.00

AE089	Titan Plate & Screw System	Titan X Drive Screws	6 Screws	$456.00

AE090	Titan Plate & Screw System	Titan Rescue Screws	2 Rescue Screws	$220.00

AE091	Titan Plate & Screw System	Titan Rescue Screws	4 Rescue Screws	$440.00

AE092	Titan Plate & Screw System	Titan Rescue Screws	6 Rescue Screws	$660.00

AE093	Titan Plate & Screw System	Y Plate	Y Plate	$443.00

AE094	ACL Fixation Screws Tapered	Flat Head, Tappered, Titanium	9 - 11mm Diameter 30mm Length	$178.00

AE095	ASDM Standard ACL Fixation Screw	Standard Flat Head Screw	7 - 11mm Diameter 20mm - 50mm 	$178.00

Length

AE096	ACL Fixation Screws	Round Head, Titanium	7-11mm Diameter 25 - 35mm Length	$178.00

AE097	Tibial Post Screw	Titanium	5 - 6mm	$158.00

AE098	Low Profile Tibial Screw	Titanium	7 - 10mm Diameter 25 -40mm 	$240.00

Length

Advanced Surgical Technologies

AD066	Adcon Anti-Adhesion Barrier Gel	Adcon Gel	3 gram	$730.00	Temporary Approval - Funded when

clinical indications for use are present.

AD067	Adcon Gel for Tendons	Adcon Gel	1 gram only	$560.00	Temporary Approval - Funded when

clinical indications for use are present.

AD068	Surgibone	Bovine Granulated Bone	4/12 mesh, 12/20 mesh	$475.00

Prostheses List by Category and Sponsor	Page 187 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD070	Surgibone	Bovine Onlays & Pins	50mm, 80mm, 100mm, 120mm, 	$536.00

33mm x 11mm x 5.5mm

AD071	Surgibone	Bovine Cubes	3 gram	$300.00

AD072	Surgibone	Bovine Cubes	10 gram	$860.00

AD075	Surgibone	Bovine Threaded Dowels	12mm, 13mm, 15mm	$683.00

AD076	Surgibone	Bovine Cavity Blocks & Granulated Bone	20mm x 20mm x 10mm, 20/30 	$520.00

Mesh

AD078	Surgibone	Bovine Lumbar Blocks	30x15x14mm, 16mm, 18mm, 	$1,016.00

20mm, 22mm

AD081	Surgibone	Bovine Tapered Disks, Cervical Blocks & 	40x2x6mm, 8mm,10mm, 	$777.00

Dowels, Lumbar Blocks	50x2x6mm, 8mm, 10mm, 12mm,

14mm, 30x10x14mm, 16mm,

18mm, 20mm, 22mm

AD082	Surgibone	Bovine Compound Wedge	55x25x10mm, 13mm, 15mm, 	$831.00

60x15x30mm

AD083	Surgibone	Bovine Plain Wedge & Tapered Wedge	55mm x 15mm x 25mm, 50mm x 	$635.00

6mm, 8mm

AD103	Lineage Acetabular System	Titanium	Shells 40 - 80mm in 2mm 	$2,435.00

increments

AD104	Osteoset BVF Kit	Kit contains calcium sulfate, diluent, mould, 	25cc only	$1,970.00

spatula and mixing bowl

AD105	Evolve Modular Radial Head	Cobalt chromium alloy, standard and plus 	Stem 5.5 - 9.5mm Standard & +4	$1,325.00

stems

AD106	Orthosphere	Yttria-stabilized zirconia ceramic	9mm - 14mm	$2,150.00

AD109	WMT Orthopaedics Implants Hinge Toe and 	Silastic flexible hinge toe with/without 	0, 1, 2, 3, 4, 5, 6, 7	$577.00

Hammertoe Implant	grommets

AD110	Wright Titanium Great Toe	Great toe titanium	0,1, 2, 3, 4	$1,308.00

AD113	Transcend Articulation System	Transcend cup - titanium	42 - 74mm in 2mm increments	$2,076.00

AD114	Transcend/Lineage Articulation System	Metal femoral head CoCr	28 and 32mm, 4 lengths	$745.00	$1,248.00

AD116	Transcend/ Lineage Articulation System	Ceramic Liner	28mm & 32mm Group 1,2,3 & 4	$1,926.00

AD118	Transcend/Lineage Articulation System	Apical plug titanium	One size only	$266.00

AD119	Transcend/Lineage Articulation System	Titanium HA coated cup	42 - 74mm in 2mm increments	$2,900.00

Prostheses List by Category and Sponsor	Page 188 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD120	Transcend/Lineage Articulation System	Bone screw titanium	6.5mm x 1.5 - 6cm in 0.5cm 	$270.00

increments long

AD122	Transcend/Lineage Articulation System	Head ceramic	28mm, 32mm, 3 lengths	$1,889.00

AD125	WMT Acetabular Cups All Poly	UHMWPE	42 - 68mm in 2mm increments	$504.00

AD127	WMT  Acetabular Liners	Duramer UHMWPE Liner	Grp 0, Grp 1, Grp 2, Grp 3, Grp 4, 	$832.00

Grp 5, and Grp 6

AD131	WMT Perfecta Hip System	PMMA cement spacer/Bone Plug	9 - 21mm in 1mm increments	$270.00

AD135	Advance Total Knee System	Tibial base CoCr cemented	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$1,706.00

AD136	Advance Total Knee System	PS Tibial UHMWPE	1, 2, 3, 4, 5, 6	$1,404.00

AD137	Advance Total Knee System	All poly patella UHMWPE	25, 28, 32, 35, 38, 41mm	$458.00

AD139	Advance Total Knee System	Metal pivot UHMWPE tibial	0, 1, 2, 3, 4, 5, 6 in 10 - 25mm 	$1,144.00	$1,550.00

thicknesses

AD141	Advance Total Knee System	Femoral CoCr component PCR cemented	0, 1, 2, 3, 4, 5, 6	$3,432.00

AD142	Advance Revision Knee System	Femoral Augments titanium	1 - 5, 5mm thick, 10mm thick, 	$645.00

posterior and distal

AD143	Advance Revision Knee System	Femoral component CoCr	1, 2, 3, 4, 5	$4,430.00

AD144	Advance Revision Knee System	Femoral stem titanium	11 - 22mm in 1mm increments, 100	$2,236.00

& 140mm lengths

AD145	Advance Revision Knee System	PS and CCK Insert UHMWPE	1, 2, 3, 4, 5, 6 in 10 - 30mm in 	$1,508.00

2mm increments

AD146	Advance Revision Knee System	Tibial augments/wedges titanium	15 degree, sizes 1, 2/1+, 3/2+, 	$884.00

4/3+, 5/4+, 6/5+, Blocks 5mm,

10mm, 15mm

AD147	Advance Revision Knee System	Tibial component titanium, non porous	0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 	$3,656.00

5+, 6

AD148	Advance Revision Knee System	Tibial stem titanium, non cemented	10, 12,14, 16, 18 x 65mm, 15 x 	$1,966.00

30mm

AD149	Advance Revision Knee System	Bone screw titanium	6.5mm x 1.5 - 6cm in 0.5cm 	$266.00

increments long

AD151	Osteoset	Calcium Sulphate	4.8mm pellets 10cc	$1,080.00

AD152	Osteoset T Pellets	Calcium sulphate with tobramycin	20cc	$1,800.00

AD156	Sorbie Questor Elbow System	Total joint CoCr and UHMWPE	Left and right in sizing 48mm wide,	$2,577.00

46mm, 44mm

Prostheses List by Category and Sponsor	Page 189 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD159	WMT Orthopaedic Implants Finger/Thumb	Silastic finger joint with/without Ti grommets	00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	$585.00

470 series

AD160	WMT Orthopaedic Implants Radial/Ulna Head	Radial head implant HP silastic	1, 1.5, 2, 2.5, 3	$730.00

AD161	WMT Orthopaedic Implants Radial/Ulna Head	Radial head titanium	1, 1.5, 2, 2.5, 3	$1,720.00

AD163	WMT Orthopaedic Implants Hand	Trapezium silastic	1, 2, 3, 4, 5	$590.00

AD164	WMT Orthopaedic Implants Hand	Silastic tendon spacer	24in long, 3, 4, 5, 6mm wide	$310.00

AD167	Wright Swanson Titanium Carpal Scaphoid, 	Titanium	1 - 5 left and right	$1,318.00

Carpal Lunate, Basal Thumb Implant

AD168	Advantim Total Knee System	Femoral Components CoCr Total Condylar 	Small, Medium, Large, Xlarge	$2,309.00

(Porous Coated)

AD169	Advantim Total Knee System	Femoral Components CoCr Total Condylar 	Small, Medium, Large, Xlarge	$1,508.00

(Non Porous Coated)

AD170	Advantim Total Knee System	All Poly Tibial UHMWPE	Small, Medium, Large, Xlarge	$1,030.00

AD171	Advantim Total Knee System	Tibial Inserts Total Condylar UHMWPE	10-36mm in 2mm increments	$697.00

AD172	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium 	3" Length in Small-Xlarge	$598.00

AD173	Advantim Total Knee System	Tibial Primary Smooth/Finned Titanium 	6" Length in Small-Xlarge	$548.00

AD174	Advantim Total Knee System	Patellae All Poly UHMWPE	25,28,32mm	$551.00

AD176	Advantim Total Knee System	Cortical Bone Screws, Femoral, Titanium	4.5mm x 2.0 - 7.5cm in 0.5cm 	$220.00

increments long

AD178	Bone Plug	PMMA Cement	8, 10, 12, 14, 16mm	$270.00

AD183	Advance Total Knee System	Tibial base porous or HA titanium or CoCr	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$2,800.00

AD185	Ortholoc 11 Revision Knee	Femoral components CoCr Revision (Porous 	Small, Medium, Large, Xlarge	$5,762.00

Coated)

AD186	Ortholoc Modular Total Condylar	Femoral components CoCr Posterior 	Small, Medium, Large, Xlarge	$3,727.00	$4,318.00

Stabilised (Porous Coated)

AD187	Ortholoc 11 Revision Knee	Tibial Revision Smooth/Finned Titanium	6" Length in Small - Xlarge	$1,186.00

AD188	Ortholoc 11 Revision Knee	Tibial inserts posterior stabilised UHMWPE	Small, Medium, Large, X-Large - 	$1,111.00

10 to 35mm in 2mm increments

AD190	Ortholoc 11 Revision Knee	Tibial Components Modular Stem Thick Base	Small, Small Plus, Medium, 	$3,162.00

(Porous Coated)	Medium Plus, Large, Large Plus,

Xlarge

Prostheses List by Category and Sponsor	Page 190 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD191	Ortholoc 11 Revision Knee	Tibial Components Modular Stem Wedged 	Small, Small Plus, Medium, 	$2,979.00

Base (Porous Coated) Titanium	Medium Plus, Large, Large Plus,

Xlarge

AD192	Ortholoc Modular Total Condylar	Tibial Components Modular Stem Base (Non 	Small, Small Plus, Medium, 	$1,279.00

Porous Coated) CoCr	Medium Plus, Large, Large Plus,

Xlarge

AD193	Ortholoc Modular Total Condylar	Tibial Components Stemless or W/Modular 	Small, Small Plus, Medium, 	$1,841.00

Stem Base (Porous Coated) Titanium	Medium Plus, Large, Large Plus,

Xlarge

AD195	Ortholoc 11 Revision Knee	Femoral stems titanium	5 Degree 6", 7 Degree 6"	$1,256.00

AD205	Advance-Unicondylar Knee System	Femoral component - cobolt chrome	Sizes 1, 2, 3, 4	$2,560.00

AD206	Advance-Unicondylar Knee System	All poly tibial component	Sizes 1, 2, 3, 4 in 7mm, 8mm, 	$1,378.00

9mm, 10mm

AD208	OSTEOSET - BVT KIT (STANDARD 	Mini Bead Kit	5cc Standard/Fast Cure	$840.00

CURE, FAST CURE)

AD209	Osteoset Pellets - Bone Graft Substitute	Calcium Sulphate	4.8mm Pellets 20cc	$1,470.00

AD212	CONSERVE Femoral Surface Replacement	CoCr SLT Taper Femoral Head	Sizes 38mm-54mm in 2mm 	$3,016.00

increments, -3.5 to +3.5 Neck

AD213	CONSERVE PLUS Total Hip Resurfacing 	Titanium Acetabular Shell - Super Polished	ID 36 - 54mm, OD 46 - 64mm	$5,084.00

System

AD214	ADVANCE Total Knee System	Stemmed condylar femoral medial pivot 	1, 2, 3, 4, 5, All in left & right	$4,940.00

component - porous

AD217	ADVANCE Total Knee System	Offset tibial Block Augments	1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 	$1,248.00

5mm, 10mm, 15mm

AD218	ADVANCE Total Knee System	Offset tibial base - nonporous	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ in 	$4,368.00

Left & Right

AD219	ADVANCE Total Knee System	Stemmed condylar femoral medial pivot 	1, 2, 3, 4, 5  All in Left & Right	$4,680.00

component - nonporous

AD220	CONSERVE PLUS Total Hip Resurfacing 	CoCr Femoral Head - Super Polished	Sizes 36mm - 54mm in 2mm 	$3,307.00	$3,432.00

System	increments

AD221	Osteoset Bone Void Filler	Calcium Sulphate	3mm & 4.8mm Pellets 5cc	$735.00

AD222	Osteoset Bone Void Filler	Calcium Sulphate	3mm Syringe 1.25cc	$566.00

AD223	Osteoset Bone Void Filler	Calcium Sulphate	4.8mm Syringe 5cc	$735.00

Prostheses List by Category and Sponsor	Page 191 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD226	Lineage Acetabular System	Titanium Deep Profile Multi Hole Acetabular 	46 - 74mm in 2mm increments	$2,435.00

Shell

AD227	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler,	5cc	$1,795.00

Includes Syringe

AD228	Osteoset MIIG X3	Injectable Calcium Sulphate Bone Void Filler,	15cc	$2,730.00

Includes Syringe

AD229	Conserve Plus Total Hip Resurfacing System	Titanium Thin Acetabular Shell - Super 	36 - 54mm ID in 2mm Increments	$5,084.00

Polished

AD230	Profemur Total Hip System	Titanium uncemented proximal body	X-small, Small, Standard 1, 	$3,052.00

Standard 2, Standard 3, Standard 4,

Large

AD231	Profemur Total Hip System	Titanium tapered Splined or Cylindrical 	Length 95 - 135mm, Diameter 10 - 	$5,304.00

Straight Stem	22.5mm

AD232	Profemur Total Hip System	Titanium E Stem - without HA Plasma Spray	1 Standard - 9 Standard	$3,120.00

AD234	Profemur Total Hip System	Titanium uncemented proximal body - HA 	X-Small, Small, Standard 1, 	$3,411.00

Plasma sprayed	Standard 2, Standard 3, Standard 4,

Large

AD235	Profemur Total Hip System	Titanium tapered Splined or Cylindrical 	Length 175 - 215mm, Diameter 10 -	$5,928.00

Bowed Stem	 22.5mm

AD236	Profemur Total Hip System	Titanium Femoral Necks	Length 27 - 38.5mm; Neutral to 	$1,118.00

Ante/Retro - Varus Valgus 2

AD237	Profemur Total Hip System	Anca-fit Femoral Stem with 1/3 proximal HA 	9.5, 11, 12, 13, 14, 15, 16, 17.5, 	$3,546.00

Plasma Spray	left and right

AD238	Profemur Total Hip System	Profemur Z, Titanium Tapered Femoral Stem	Standard Length Sizes 1 - 9	$3,120.00

AD241	Limb Salvage System for the skeletally 	Repiphysis non invasive expandable custom 	Custom Made	$67,600.00

immature - Repiphysis	designed Tibial Extension. Comprised of tibial

base, axial bushing, axial pin - CoCr,

Titanium, UHMWPE

AD242	Limb Salvage System for the Skeletally 	Repiphysis non invasive expandable custom 	Custom Made	$67,600.00

Immature - Repiphysis	designed Distal Hinge Femoral Extension.

Distal hinge femur, stem fixation pin, spring

housing tube, anti-rotation cylinder & pins,

end cap, retaining tube, spring, antenna,

isolant ring - CoCr, Titanium, PEEK

Polyacetal Ceramic

Prostheses List by Category and Sponsor	Page 192 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD243	Guardian Limb Salvage System	Guardian Femoral Neck & Mid-Section - 	40, 50, 60, 70, 90, 110, 140mm	$2,959.00

Standard Taper - Titanium

AD244	Guardian Limb Salvage System	Guardian Distal Femur	Left & Right	$4,841.00

AD245	Guardian Limb Salvage System	Guardian Tibial Hinge Assembly 	One Size only	$4,046.00

With/Without Rotational Stop Pin - CoCr

AD246	Guardian Limb Salvage System	Guardian Distal Femur Quick Snap Axial Pin -	1, 2, 3, 4	$2,267.00

CoCr, Titanium

AD248	Guardian Limb Salvage System	Guardian Tibial Sleeve	1 - 5	$4,982.00

AD249	Guardian Limb Salvage System	Guardian Duramer Tibial Sleeve Spacer - 	8, 10, 12, 16, 20mm	$2,475.00

UHMWPE

AD250	Guardian Limb Salvage System	Guardian Male-Male Mid-Section Taper - 	40, 50, 60, 70, 90, 110, 140mm	$3,671.00

Titanium

AD251	Guardian Limb Slavage System	Guardian Non Porous Femoral Stem 	11, 13, 15, 17mm x 152mm	$2,735.00

Straight/Tapered - Titanium

AD252	Guardian Limb Salvage System	Guardian Proximal Tibia - Titanium	One Size Only	$7,176.00

AD253	Guardian Limb Salvage System	Guardian Resurfacing Femur - CoCr, Titanium	2, 3, 4, Left & Right	$7,540.00

AD254	Guardian Limb Salvage System	Guardian femoral Stem Straight With Plasma 	9, 11, 13 x 120mm	$3,630.00

Collar - Titanium

AD255	Guardian Limb Salvage System	Guardian porous Collared Femoral Stem 	11, 13, 15, 17mm x 152mm	$3,702.00

Straight/Tapered - Titanium

AD256	Guardian Limb Salvage System	Guardian Femoral Stem Straight - Titanium	9, 11, 13 x 120mm	$2,694.00

AD257	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Large wire 2.0-3.0 - Sizes 	$500.00

Biocompatible Nitonol	20x20x20, 22x25x22, 30x30x30,

12x15x12

AD258	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Small wire 1.2-1.5 - Sizes 5x7x5, 	$390.00

Biocompatible Nitonol	7x9x7, 8x11x8, 10x11x10,

10x13x10, 12x15x12, 15x15x15,

18x15x18, 15x20x15, 18x20x18

AD259	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Staple - 	Asymmetric - 11x15x13, 11x17x15,	$405.00

Asymmetric Staples - Biocompatible Nitonol 	 11x17x19 &

Construction	18x18x15

AD260	OSSStaple Osteosynthesis Staple	Dynamic Compression Implants OSS Plate 	Plate Staple - 15x6, 15x8, 15x10	$540.00

Staple - Biocompatible Nitonol Construction

AD261	Procotyl-E cup ceramic inserts	acetabular cup	Group 1 - 3, Size 28 and 32	$2,496.00

Prostheses List by Category and Sponsor	Page 193 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD262	Procotyl-E cup	acetabular cup titanium alloy	52mm - 76mm, in 2mm increments	$5,096.00

AD263	Procotyl-E cup	polyethylene liner	Group 1 - 3 sizes 22 - 32	$884.00

AD264	Procotyl-E T Plate	titanium alloy	One size only for left and right	$1,040.00

AD265	Procotyl-E screws	titanium alloy	Diameter 5.5mm, Length 15 - 	$395.00

60mm

AD266	Procotyl-E double plate	titanium alloy	4, 5 and 6 holes left and right sides	$1,040.00

AD267	Procotyl-E hooks	titanium alloy	18mm, 23mm, 28mm	$811.00

AD268	Procotyl-E L Plates	titanium alloy	One size only for left and right	$1,040.00

AD269	SLR Bipolar  Endoprosthesis	SLR Bipolar Taper Femoral Head Cast Cobalt	22.5mm - 32mm Femoral Head and 	$832.00

Chrome Alloy	neck ranging from -3.5mm to +7mm

AD270	SLR Biploar Acetabular Shell	Cast Cobalt Chrome Alloy	38mm - 65mm in millimetre 	$1,248.00

increments

AD271	SLR Bipolar Acetabular Liners	UHMWPE	22mm - 32mm ID, ranging from 	$458.00

38mm to 65mm

AD272	Evolve Radial Head Plate	Evolve Radial Plate System Stainless Steel	32mm x 20 - 26mm in 2mm 	$1,360.00

increments

AD274	Evolve Locking Cancellous Bone Screws	The Evolve stainless steel locking screw	2.0mm x 14 - 28mm	$100.00

AD276	Advance HA Coated Tibial Base	Titanium HA Coated Tibial Base	1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6	$2,652.00	$3,229.00

AD277	LPT Great Toe Implant	Titanium LPT Metatarsal Component 	Sizes 1, 2 & 3 Regular Great Toe 	$1,290.00

available in Regular and Angled Toe	Implants. Sizes 1 & 2 Angled Great

Toe Implants

AD278	Profemur Total Hip System	Titanium Tapered Stem - HA Plasma Spray	Sizes 9 to 18 in 1 mm increments	$4,605.00

AD279	Profemur Total Hip System	Titanium Stem with HA Plasma Spray	Size 11 with Fixed Neck Standard 	$4,605.00

Offset and High Offset, Standard and

Plus Flare. Size 12 to 17 - Standard

flare and Plus Flare. Size 18 -

Standard Flare only

AD280	Advance Double High Tibial Insert	Double-High Tibial Insert - UHMWPE	All inserts are available in Left and 	$1,144.00	$1,550.00

Right: Sizes 1.5, 0, 1, 2, 3, 4, 5, &

6, in the following increments of

10, 12, 14, 17, 20 & 25mm

AD281	Micronail intramedullary radial fixation	Titanium, Distal radial nail	1, 2, 3, and 4	$1,620.00

AD282	Micronail intramedullary radial fixation	2.7mm Titanium Screw	10mm - 20mm	$220.00

Prostheses List by Category and Sponsor	Page 194 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD283	E-Centrix Ulnar Head Replacement	Ulnar Head	16 x 1.5mm Offset, 16 x 3.0mm 	$1,525.00

Offset, 18 x 1.5mm Offset, 20 x

1.5Offset, 20 x 3.0mm Offset

AD284	E-Centrix Ulnar Head Replacement	Ulnar Stem	5.5 STD, 6.5 STD, 7.5 STD, 8.5 	$1,410.00

STD

AD285	E-Centrix Ulnar Head Replacement	Ulnar Stem Extender	20mm	$820.00

AD286	BFH Total, A-class	Cobalt Chrome super finished femoral head. 	36mm to 56mm in 2mm increments	$3,307.00	$3,432.00

Size range from 36mm to 56mm in 2mm 	 each with - 3.5mm, 0mm, +

increments with 3 head lengths per size	3.5mm head lengths

AD288	Transcend/Lineage Articulation System	Metal femoral head CoCr	36mm, 4 lengths	$988.00	$1,248.00

AD289	Transcend/Lineage Articulation System	Metal CoCr Liner	Grp 1, Grp 2, Grp 3, Grp 4  28, 32 	$1,926.00

& 36mm

AD290	Transcend/Lineage Articulation System	Head ceramic	36mm, 3 lengths	$1,889.00

AD299	Advance HA Coated Femoral Component	HA Coated Femoral Component	1 - 6 Left and Right	$4,272.00	$4,420.00

AD300	Advance Total Knee System	Femoral CoCr PCR component porous and 	1, 2, 3, 4, 5, 6	$3,727.00	$4,150.00

HA

AD303	Evolve Modular Radial Head	Cobalt chromium alloy head	Head 20-28mm Std +2 and +4mm	$1,334.00

AD304	Osteoset T Pellets	Calcium sulphate with tobramycin	10cc	$1,490.00

AD305	Micronail Intramedullary Radial Fixation	2.5mm ti buttress screw	16 - 28mm	$250.00

AD308	Transcend/Lineage Articulation System	Metal femoral head CoCr	32mm	$988.00	$1,248.00

AD309	Lineage A-Class Crosslinked Polyethylene 	Standard and lateralized, 0deg and 15deg 	28, 32, 36ID	$1,115.00

Liner	lipped

AD310	Charlotte Foot & Ankle System	High demand compression screw, cannulated, 	6.5mm dia, 40-110mm lengths in 	$400.00

stainless steel	5mm increments

AD311	Charlotte Foot & Ankle System	Multi use compression screw, cannulated, 	3.0 & 4.3mm dia. 10-60mm in 	$400.00

stainless steel	2mm increments

AD312	Charlotte Foot & Ankle System	Snap-off screws, titanium alloy	2.0 dia 11, 12, 14mm. 2.7 dia 13, 	$315.00

15, 17mm

AD313	Conserve Total SUPERFIX Shell	Porous coated, super finished, revision 	50mm - 72mm OD	$5,084.00	$6,300.00

resurfacing cup with fins and screws

AD314	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, small & standard	$600.00

AD315	Charlotte MTP Fusion System	MTP plate, stainless steel	Left & right, extended	$730.00

Prostheses List by Category and Sponsor	Page 195 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AD316	Charlotte MTP Fusion System	MTP plate screw, stainless steel	2.7 & 3.2 dia. 8-24mm length in 	$95.00

2mm increments

AD317	Charlotte MTP Fusion System	MTP plate, stainless steel, SLIM LINE	Left & right	$730.00

AD318	Profemur XTR Femoral Stem	Femoral Stem, CoCr, Cemented, Polished	0, 1, 2, 3, 4	$2,300.00

AD319	Profemur Total Hip System	Revision Hip Proximal Body Extension Piece,	Sm - Lg L26 x D19mm, D21mm &	$1,615.00

Titanium	 D23mm; Sm - Lg L52 x D21mm;

ExSM L26 x D19mm

AD320	Profemur Total Hip System	Revision Hip Proximal Body Extension Piece,	Sm - Lg L26 x D19mm, D21mm &	$1,615.00

Titanium	 D23mm; Sm - Lg L52 x D21mm;

ExSM L26 x D19mm

AD321	Quadra-Fix Acetabular Shell	Dysplasia Cup, Porous Coated, HA	O.D. 44mm - 66mm	$7,000.00

AD322	Quadra-Fix Acetabular Shell	Quadra-Fix Double threaded, 6.5mm 	35mm - 80mm in 5mm increments	$380.00

Cancellous Screw

AD323	Charlotte Foot & Ankle System	Compression Staple, Stainless Steel	13, 15, 20, 25mm interaxis, leg 	$698.00

lengths 11, 13, 15, 17, 20 &

25mm, 10 Sizes in Total

AD324	Charlotte Foot & Ankle System	Quick Staple, Stainless Steel	One Size Only	$235.00

AD325	Conserve Plus A-CLASS Resurfacing Head	CoCr A-CLASS super finished resurfacing 	36mm to 56mm in 2mm increments	$3,162.00	$5,400.00

femoral head	 each with - 3.5mm, 0mm, +

3.5mm head lengths

AD326	Calcaneal Step OSStaple	Dynamic Compression Implant, Calcaneal 	6mm, 9mm & 12mm offsets	$710.00

Step OSStaple, Nitinol Memory Alloy

AD327	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	7cc	$1,785.00

AD328	Cellplex TCP Synthetic Cancellous Bone	Alpha & Beta Tricalcium Phosphate	15cc & 20cc	$2,200.00

AstraZeneca Pty Ltd

AE087	Titan Plate & Screw System	Titan X Drive Screws	4 Screws	$304.00

Aus Systems Pty Ltd

AU001	Aus Systems Titanium Miniplates (Bone 	2hole x 2hole Strip Plate Stiff	1.2mm profile, 4, 6, 8mm length 	$56.00	Only to be funded where used in a

Plates)	between inner holes	service for which a Medicare Benefit

is payable

Austofix

AX001	Austofix Intramedullary Nail	Humeral Nail, stainless steel	7mm and 8mm	$660.00	$800.00

AX002	Austofix Intramedullary Screws	Nail Locking Screw, stainless steel	3.5mm, 4.0mm & 4.5mm	$95.00	$105.00

AX003	Austofix Intramedullary Screws	Humeral Head Screw, stainless steel	4.3mm	$105.00	$145.00

Prostheses List by Category and Sponsor	Page 196 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AX004	Austofix Intramedullary Nail	Femoral & Tibial Nails, stainless steel	8mm, 9mm, 10mm	$430.00	$650.00

AX005	Austofix Intramedullary Nail	Supracondylar Nail, stainless steel	10mm & 13mm 	$640.00	$1,000.00

AX006	Austofix Intramedullary Nail	Hip Nail, stainless steel	120 & 130 Degree	$350.00	$460.00

AX007	Austofix Intramedullary Nail	Long Hip Nail, stainless steel	13/10mm	$650.00	$800.00

AX008	Austofix Intramedullary Nail	Proximal Tibial Nail, stainless steel	10/9mm	$650.00

AX009	Austofix Intramedullary Nail	Custom Nails, stainless steel	5-13mm	$1,350.00

AX010	Austofix Intramedullary Nail	Cannulated Femoral Nail, stainless steel	13mm	$625.00	$1,000.00

AX011	Austofix Intramedullary Screws	Femoral Locking Screw, stainless steel	5.5mm, 6.2mm, 6.5mm	$105.00

AX012	Austofix Intramedullary Screws	Proximal Thread Locking Screw, stainless 	4.0mm & 4.5mm	$145.00

steel

AX013	Proximal Humeral Nail	Stainless Steel	Diameter 8 mm, Length 170 mm	$1,075.00

AX014	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, 	Standard, left & right	$1,270.00

titanium

AX015	Distal Radius Fracture Repair System	DVR-A, distal volar radius locking plate, 	Narrow, wide, short, narrow-left & 	$1,450.00

titanium	right

AX016	Distal Radius Fracture Repair System	DNP, dorsal nail plate, titanium	Standard, left & right	$1,180.00	$1,220.00

AX017	Distal Radius Fracture Repair System	Fragment locking plate, titanium	Right, left, straight, Y	$815.00	$845.00

AX018	Distal Radius Fracture Repair System	Locking peg, threaded, partly threaded, 	2.5mm x 14-30mm	$125.00

smooth, titanium

AX019	Distal Radius Fracture Repair System	Bone screw, cancellous/cortical titanium	2.5mm-3.5mm x 10-28mm	$107.00

AX020	S2 Nail System	Cannulated supracondylar nail, stainless steel	11/13mm x 160-380mm	$1,050.00	$1,084.65

AX021	S2 Nail System	6.2mm condylar screws	6.5mm x 60-85mm	$175.00

AX022	Austofix Femoral & Tibial Nailing System	Tibial Nail 4.0/4.8; s-s	Dia 8 - 11mm, Lengths 260 - 420mm	$1,009.00

AX023	Austofix Femoral & Tibial Nailing System	4.0/4.8 Screws; Locking; dual thd; high 	Dia 4.0 - 4.8mm; Lengths 20-80mm	$120.00

nitrogen s-s

AX024	Austofix Femoral & Tibial Nailing System	F2 Femoral Nail 4.8/6.2; s-s	Dia 9 - 12mm; Lengths 320 - 460mm	$1,475.00

AX025	Austofix Femoral & Tibial Nailing System	6.2/6.5mm Hip Screw; high nitrogen s-s	Dia 6.2 & 6.5mm; Lengths 70 - 	$189.00

120mm

AX026	Austofix Femoral & Tibial Nailing System	F2 Hip Nail 4.8/6.5; high nitrogen s-s	Dia 11mm, Length 170mm - 	$760.00

240mm

Prostheses List by Category and Sponsor	Page 197 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AX027	Austofix Femoral & Tibial Nailing System	Washer for screws; s-s	Dia 11mm & 13mm	$110.00

AX028	Austofix Femoral & Tibial Nailing System	K-Wire; s-s; trocar tip	1.6mm	$27.00

AX029	Austofix Femoral & Tibial Nailing System	End Cap; I.M. Nails; s-s	8 - 13mm	$123.00

AX030	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	 3 Hole, Left & Right & 4 Hole, 	$1,400.00	$2,242.00

Left & Right

AX031	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	6 Hole, Left & Right	$1,470.00	$2,378.00

AX032	HI S3 Shoulder Fixation System	S3 Shoulder Plate, Titanium	11 Hole, Left & Right	$1,450.00	$2,709.00

AX033	HI S3 Shoulder Fixation System	Peg, Standard Stainless Steel	4mm x 20mm, 25mm, 30mm, 	$140.00	$254.00

32.5mm, 35mm, 37.5mm, 40mm,

45mm, 47.5mm, 50mm, 52.5mm,

55mm, 57.5mm, 60mm, 62.5mm

& 65mm

AX034	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 20mm, 25mm, 30mm, 	$150.00	$265.00

32.5mm &35mm

AX035	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 37.5mm	$160.00	$265.00

AX036	HI S3 Shoulder Fixation System	Peg, Threaded Stainless Steel	4mm x 40mm, 45, 47.5mm, 	$167.00	$265.00

50mm, 52.5mm, 55mm, 57.5mm,

60mm, 62.5mm, 65mm,

AX037	HI S3 Shoulder Fixation System	Screw, Multidirectional Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 	$231.00	$265.00

32, 34, 36 & 38

AX038	HI S3 Shoulder Fixation System	Screw, 90 Deg Locking Stainless Steel	3.8mm x 20, 22, 24, 26, 28, 30, 	$185.00	$265.00

32, 34, 36 & 38

AX039	HI S3 Shoulder Fixation System	Set Screw, 90 Deg Locking Titanium	One size	$213.00	$220.00

B Braun Australia Pty Ltd

BB047	Downs Austin-Moore Hip	Stem	39-54mm	$615.00

BB048	Downs Thompson Stem	Stem	38-55mm	$615.00

BB051	BRAUN AUST Intramedullary Nails	Compression Nail	100mmx10.5mm-610mmx12.5mm	$1,600.00

BB052	BRAUN AUST Intramedullary Nails	Compression Screw	4.5mmx64mm-4.5mmx102mm	$150.00

BB056	BRAUN AUST Intramedullary Nails	Fixation Screws	Dia 4.5mm-6mm,Length 20mm-	$55.00	$75.00

96mm

BB057	BRAUN AUST Intramedullary Nails	Closure Screws	Length 8mm-10mm	$60.00

BB059	BRAUN AUST Intramedullary Nails	Huckstep Fine Thread Screw	4.5mmx19mm-4.5mmx57mm	$55.00	$80.00

BB060	BRAUN AUST Intramedullary Nails	Isosorb Resorbable Fixation Pin	2mmx60mm-3.5mmx80mm	$213.00

Prostheses List by Category and Sponsor	Page 198 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB067	Caspar Cervical Plate	Titanium and Steel	24mm-90mm	$512.00

BB068	Caspar Screws	Stainless Steel	10mm-28mm	$10.00

BB069	Caspar Screws	Titanium	10mm-28mm	$29.00

BB071	Kirshner Wires all Sizes	Steel	Dia 0.8mm-3.0mm, Length 70mm-	$11.00	$30.00	To be funded where any or all K-

310mm	wires used in a procedure are used as

an implant.

BB107	BRAUN AUST Intramedullary Nails	Nail for small bones	Dia 3mm-8mm	$1,617.00	$3,200.00

BB196	Emotion TKS	Femoral Component-posterior stabilized	F1 - F7, Left and Right	$3,257.00

BB197	Emotion TKS	Femoral Component	F1 - F8, Left and Right	$2,162.00

BB198	Emotion TKS	Articulating surface	T1 to T8 Size: 10 to 24mm	$842.00

BB199	Emotion TKS	Articulating surface-posterior stabilized	T1 to T8 Sizes: 10 to 24mm	$936.00

BB200	Emotion TKS	Extension Shaft	Short, D: 10 to 20 , Medium, D: 10	$1,110.00	$1,200.00

to 20, Long, D: 10 to 20

BB201	Emotion TKS	Tibial component	T1 to T8, left and right	$2,288.00

BB202	Emotion TKS	Patella - 1 - Peg and 3 - Pegs	P1 to P6, 26 - 41 x 7 - 12mm	$614.00

BB203	Emotion Unicondylar	Uni gliding surface	F1 and F5, 3mm	$520.00

BB204	Columbus TKS	Tibial component	T1 to T5	$2,250.00

BB205	Columbus TKS	Femoral component	F1 - F7, Left and Right	$3,145.00

BB206	Columbus TKS	Femoral component - posterior stabilized	F1 - F7, Left and Right	$3,257.00

BB207	Columbus TKS	Gliding Surface	T1 - T5	$859.00

BB208	Columbus TKS	Patellar Components, 3 pegs	P1 - P4	$614.00

BB209	Columbus TKS	Gliding Surface with Screw	T1 - T5	$899.00

BB210	Columbus TKS	Obturator - Extension Stem	Small & Large D12 to 14	$1,110.00	$1,200.00

BB231	Columbus TKS	Tibial Component - Cementless	T1 - T5	$2,652.00

BB232	Emotion TKS	Femoral Component - Cementless	F1 - F8, Left and Right	$3,700.00

BB233	Emotion TKS	Tibial Component - Cementless	T1 - T8	$2,652.00

BB234	Columbus TKS	Femoral Component - Cementless	F1 - F7, Left and Right	$3,700.00

BB235	Plasmacup Ceramic Insert	Biolox	44mm-68mm	$2,496.00

BB236	Polyethylene Acetabular Cup	Chirulen	22.2mm-32mm articulations; 	$700.00

40mm-64mm diameters

Prostheses List by Category and Sponsor	Page 199 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB237	Plasmacup PE insert	Chirulen	44mm-68mm diameters, 22.2mm-	$832.00

32mm articulations

BB238	Acetabular Fixation Screws	Isotan	16mm-68mm	$129.00	$140.00

BB239	BiContact Cementless	Femoral stem	8-21	$3,690.00

BB240	BiContact cemented	Femoral stem	8-18	$1,923.00

BB241	End cap	Modular tibial component	12mm, 14mm	$820.00

BB242	Extension stem	Modular tibial component	12mm, 14mm, short and long	$1,110.00	$1,200.00

BB243	Plasmacup	Isotan	44mm-68mm	$2,225.00

BB245	Distal centraliser	PMMA	7mm - 18mm	$140.00

BB246	Isodur C Head	Hip Prosthesis Head	22.2mm - 54mm diameters, short, 	$745.00

standard, long, X-long and XX-long

BB247	Reconstruction Shell	Isotan	52-64mm, left and right	$2,912.00

BB249	Bipolar Head	Hemi Arthroplasty Head	38 - 60mm	$1,300.00

BB250	Ceramic Head	Biolox forte	26 - 32mm diameters, short, 	$2,000.00

standard and long

BB253	Columbus	Tibia Plateau Rotating Platform Cemented	$2,704.00

BB254	Columbus	Tibia Plateau Rotating Platform Uncemented	$3,300.00

BB255	Columbus	Tibia Plateau Rotating Platform - Tibial Insert	$1,120.00

BB271	Aesculap Schanz Screw	Stainless steel	All sizes	$105.00

BB272	HuckStep Hip System	Titanium, plasma coated femoral stem, short 	Short and Standard length	$3,573.00

and standard length

BB273	HuckStep Hip System	Titanium, plasma coated femoral stem	Long length	$5,408.00

BB274	Excia Hip System	Cementless pourous titanium, calcium 	8mm-18mm	$4,700.00

phosphate bioactive coating

BB275	Excia Hip System	Cemented stem cobalt chromium	9mm-18mm	$2,000.00

BB276	Excia Hip System	Distal Centraliser	8mm-18mm	$140.00

BB277	Excia Hip System	Cement plug	8mm-18mm	$180.00

Biomet Australia Pty Ltd

BI005	Re-Unite Orthopaedic System	Rotator Cuff Butress, Lactosorb; PGA/PLA	One size only	$430.00

BI012	Re-Unite Orthopaedic System	Pop-Rivet - PGA/PLA	One size only	$292.00

Prostheses List by Category and Sponsor	Page 200 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI015	Reach Revision Hip System	Modular Reach Proximal Body - 	Proximal Body #1-6	$4,888.00

Collared/Collarless; Titanium, Chrome Cobalt

BI016	IBP Elbow	Cemented, UHMWPE, Titanium, Cobalt 	Small Standard, Large, Xlarge 	$5,800.00

Chrome

BI017	Kudo Elbow	Humeral Component, Cemented , Cobalt 	Small, Large	$3,000.00

Chrome

BI018	Kudo Elbow	Ulnar Component, Cemented, Titanium	Small, Large 	$2,480.00

BI019	Kudo Elbow	Humeral Component, Uncemented, Cobalt 	Small, Large 	$3,200.00

Chrome

BI020	Kudo Elbow	Ulnar Component, Uncemented, Titanium	Small, Large 	$2,800.00

BI021	Total Toe System	Metatarsal Component UHMWPE, Titanium	Small, Medium, Large Extra Large.	$2,000.00

BI022	Toe Joint Replacement	Phalangeal Component, Titanium	Small, Medium, Large Extra Large. 	$1,073.00

BI023	Endobon Pins 	Cylinder, Hydroxyapatite	13-16mm	$800.00

BI024	Bone Cement Endobon Bone Substitute 	Cylinder, Hydroxyapatite	9-12mm	$700.00

Material

BI025	Bone Cement Endobon Bone Substitute 	Granules, Hydroxyapatite	Type I or Type II	$400.00

Material

BI026	Bone Cement Endobon Bone Substitute 	Block, Hydroxyapatite	5x5x10, 12.5x12.5x10, 20x20x10	$576.00

Material

BI027	Asian Hip System	Femoral Stem, Chrome Cobalt, Cemented	7-13mm	$4,680.00

BI028	Asian Hip System	Acetabular Cup, UHMWPE, Chrome Cobalt 	28mm x (44-60mm)	$2,080.00

Cemented

BI029	Scientific Hip Prostheses System	Femoral Component, Chrome Cobalt, 	6 sizes, 0-6	$3,150.00

Cemented

BI030	Scientific Hip Prostheses System	Acetabular Component UHMWPE, Cemented	22, 26,28mm x (46-60mm) 	$936.00

BI031	Oxford Meniscal Knee System	Mark III Femoral Component, Chrome Cobalt,	Small, Medium, Large, Extra Large.	$2,560.00

Cemented

BI032	Oxford Meniscal Knee System	Mark III Tibial Bearing , UHMWPE	Small Standard, Large, Xlarge, sizes	$790.00

3-9

BI033	Oxford Meniscal Knee System	Mark III Tibial Tray, Chrome Cobalt, 	(38-53mm) x sizes 26-34	$1,732.00

Cemented

BI036	Rx90 Hip System	Primary Femoral Stem, Chrome Cobalt, 	9-17mm	$1,850.00	$2,080.00

Cemented

Prostheses List by Category and Sponsor	Page 201 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI037	Rx90 Hip System	Revision Femoral Stem 200mm, Chrome 	13-19mm	$3,150.00

Cobalt, Cemented

BI038	Rx90 Hip System	Acetabular Cup and liner, Titanium Alloy, 	40-70mm	$2,080.00

UHMWPE, Cementless / Cemented

BI039	Integral Hip System	Femoral  Centraliser, Cemented , Cobalt 	9-17mm	$1,850.00

Chrome

BI040	Integral Hip System	Titanium Alloy, Cementless, Porus Stem, 3 	Length from 125mm to 175mm,  9-	$4,680.00

variations: Standard, Laterised or reduced profile	19mm

BI041	Integral Hip System	Titanium Alloy, Cementless, Porus Stem, 3 	Length from 180mm to 225mm, 9-	$4,680.00

variations: Standard, Laterised or reduced profile	20mm

BI045	Scientific Hip Prostheses System	Head, Chrome Cobalt	28mm, -6mm to +12mm	$1,485.00

BI046	Biogroove Femoral Component	Femoral Stem, Titanium, Cementless	7-14mm	$4,212.00

BI047	Hip Fracture System	Femoral Stem, Chrome Cobalt, 	8-16mm	$2,000.00

Cemented/Cementless

BI048	Balance Hip System	Femoral Stem and Head, Cementless,	7 - 18mm	$4,680.00

BI049	Bi-Metric Hip System	Porous Stem, Titanium, Cementless	7-17mm	$4,680.00

BI050	Bi-Metric Hip System	Interlok Stem, Titanium, Cemented/Cementless	7-17mm	$1,850.00

BI051	Bi-Metric Hip System	Head Neck Revision Femoral Stem, Chrome 	9-15mm 	$3,664.00

Cobalt, Cemented

BI052	Bi-Metric Hip System	Revision 200 Stem, Titanium, Cemented	9-17mm	$6,166.00

BI053	Bi-Metric Hip System	Revision 250 Stem, Titanium, Cemented	9-17mm	$6,166.00

BI054	Bi-Metric Hip System	Revision 300mm Femoral  Stem, Titanium, 	9-17mm	$6,166.00

Cemented

BI055	Biomet Alternate Bearing Surface	Metal on Metal Acetabular Shell, Titanium	46 - 70mm	$2,207.00

BI056	Biomet Alternate Bearing Surface 	Metal on Metal head, Chrome Cobalt	28mm -6mm to +12mm	$1,485.00

BI057	Biomet Alternate Bearing Surface	Metal Acetabular Insert, Chrome Cobalt	Standard	$1,465.00

BI058	Modular Ceramic System	Ceramic Head, Aluminium Alloy	28-32mm -6mm to +12mm	$1,990.00

BI060	Austin Moore Self Locking Hip Prosthesis 	Straight Standard Femoral Prostheses, Titanium	38-55mm	$615.00

System

Prostheses List by Category and Sponsor	Page 202 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI061	Austin Moore Self Locking Hip Prosthesis 	Modular Femoral Stem and Modular Head, 	38-61mm Head, Std or Narrow stem	$988.00

System	Titanium.

BI062	FR Thompson Hip Prosthesis System	Modular Curved Femoral Stem, Titanium.	38mm - 55mm 	$615.00

BI063	Bimetric Hip System	Stem, Modular, Titanium, Chrome Cobalt	7-17mm	$1,850.00

BI064	Bioclad Hip System	Acetabular Cup,  UHMWPE	22,28,32mm, size 39-69mm	$936.00

BI065	Vision Acetabular System	Acetabular Cup System, Cemented, 	9-19mm	$2,080.00

Cementless, Titanium, Chrome Cobalt,

UHMWPE

BI066	Stanmore Total Hip System	Modular Femoral Stem - Standard and 	Size 1-5 	$1,750.00	$2,315.00

Straight, Chrome Cobalt

BI067	Stanmore Total Hip System	Acetabular Cup, UHMWPE 	25-32mm x size 40-53mm	$860.00

BI068	Stanmore Total Hip System	Modular Head, Chrome Cobalt	28mm, -6mm to +12mm	$1,485.00

BI069	Biomet Taperloc Hip System	Femoral Stem, Standard or Laterised. 	7.5mm to 20mm diameter	$1,850.00

Titanium, Cemented

BI070	Biomet Taperloc Hip System	Modular Head, Chrome Cobalt	28mm, -6 to +12mm	$1,485.00

BI072	Modular Calcar Mallory Head Revision Hip 	STS Distal Femoral Component, Titanium	14mm to 20mm	$3,120.00	$5,834.00

System

BI073	Modular Ceramic System	Acetabular Ceramic/ Polyethylene Liner, 	28mm, 32mm, -6 to +12mm	$2,496.00

UHMWPE

BI074	Biomet Taperloc Hip System	Primary Femoral Stem, Titanium, 	7.5mm - 22.5mm	$4,680.00

Uncemented

BI075	Biomet Taperloc Hip System	Femoral Stem, HA, Titanium, Uncemented	7.5mm - 22.5mm	$5,044.00

BI077	Austin Moore Self Locking Hip Prosthesis 	Femoral Component, Long Stem, Titanium	38 to 56mm	$615.00

System

BI081	Impact Modular Total Hip System	Femoral Segment, Diaphyseal, Standard. 	10-15mm Diameter	$2,288.00

Titanium

BI082	Impact Modular Total Hip System	Femoral Segment, Metaphyseal. Titanium	Size 1-6 x Small/Medium	$4,680.00	$5,092.00

BI086	Impact Modular Total Hip System	Femoral Segment, Metaphyseal, Revision 	Size 3-6 Small/Medium	$6,032.00

Cemented , Titanium

BI087	Impact Modular Total Hip System	Femoral Segment, Metaphyseal, Uncemented ,	Size 3-6, Small/Medium	$4,680.00	$5,092.00

Titanium

BI089	Hap Impact Stem (Various)	Femoral Segment, Metaphyseal, HAP Coated, 	Size 3-6, Small/Medium 	$4,992.00

Uncemented, Titanium

Prostheses List by Category and Sponsor	Page 203 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI091	Kasselt Acetabular Cup System	Acetabular Cup, UHMWPE	46-70mm	$832.00

BI092	Mallory Head Hip System	Acetabular Liner,  Constrained, Ringloc, 	28-38mm	$1,836.00

UHMWPE

BI094	Mallory Head Hip System	Femoral Head, Offset, Chrome Cobalt	28,32mm	$745.00	$1,273.00

BI096	Tripolar Acetabular Cup Series	Ringloc Series, UHMWPE, Chrome Cobalt	24-28mm	$3,346.00

BI097	Kent Hip System	Femoral Component, Titanium	Narrow, Std.  Size 6 - 16 hole 	$5,408.00

BI098	Kent Hip System	Transverse Screws, Titanium	4.5mm x (26-55mm)	$480.00

BI100	Bi Hapro Hip System	Femoral Stem, Uncemented, Cobalt Chrome	Size 1 to 8 	$4,668.00

BI101	Bi Hapro Hip System	Ringloc Cup, HAP Coating uncemented	46mm to 70mm	$2,704.00

BI106	Mallory Head Hip System	Acetabular Liner, UHMWPE	22 - 36mm, Sizes 21 to 28	$1,144.00

BI109	Mallory Head Hip System	Screw, Acetabular	(6.5 - 5.5)mm dia x (15 - 70)mm 	$160.00

length

BI110	Mallory Head Hip System	Acetabular Shell, HAP Coated, Titanium	40-80mm	$2,704.00

BI111	Mallory Head Hip System	Acetabular Shell, Titanium	40-80mm	$2,080.00

BI112	Mallory Head Hip System	Acetabular Shell, Solid, HAP Coated, Titanium	40-80mm	$2,704.00

BI118	Mallory Head Hip System	Femoral Stem, Calcar, Titanium	220mm, Size 9-19mm	$7,280.00	$7,426.00

BI119	Mallory Head Hip System	Femoral Stem, Calcar, Titanium	260mm, Size 9-19mm	$7,488.00	$7,638.00

BI120	Mallory Head Hip System	Femoral Stem, Calcar, HAP Coated, Titanium	220mm, Size 9-19mm	$7,696.00	$7,850.00

BI121	Mallory Head Hip System	Femoral Stem, Calcar, HAP Coated, Titanium	"250 - 260mm, Size 9-19mm"	$8,840.00

BI122	Mallory Head Hip System	Trochanter Bolt, Titanium	Round/Oblong	$495.00

BI123	Mallory Head Hip System	Trochanter Plate, Titanium  	Sizes 40-70	$460.00

BI124	Modular Calcar Mallory Head Revision Hip 	Trochanteric Claw, Titanium	Medium, Large 	$430.00

System

BI125	Modular Calcar Mallory Head Revision Hip 	Trochanteric Connector	Sizes 40-70mm	$570.00

System

BI126	Modular Calcar Mallory Head Revision Hip 	Femoral Component, Proximal.  Titanium	34, 45, 55 resection levels x size 	$7,800.00

System	a,b,c,d,e

BI127	Modular Calcar Mallory Head Revision Hip 	Femoral Component, Distal. Titanium	170-300mm	$3,536.00

System

BI128	Modular Calcar Mallory Head Revision Hip 	Femoral Component, Proximal, Revision, 	34, 45, 55 resection levels x size 	$4,992.00

System	HAP Coated. Titanium	a,b,c,d,e

Prostheses List by Category and Sponsor	Page 204 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI129	Mallory Head Hip System	Acetabular Cup, UHMWPE	40-80mm	$1,872.00

BI130	Bio-Plug Cement Restrictor	Canal Plug, UHMWPE	"7-20mm"	$200.00

BI131	Mallory Head Hip System	Femoral Sleeve, UHMWPE	9-17mm	$270.00

BI132	Mallory Head Hip System	Femoral Stem, Cobalt Chrome, Unpolished	7-19mm	$2,000.00

BI134	Mallory Head Hip System	Femoral Modular Head, Chrome Cobalt	28 to 38mm -6 to +12mm	$988.00

BI135	Mallory Head Hip System	Femoral Stem, Revision, Titanium	250mm, size 7 to 19mm	$6,166.00

BI137	Mallory Head Hip System	Femoral Stem, Revision, Titanium	300mm, size 7 to 19mm	$6,166.00

BI138	Mallory Head Hip System	Femoral Stem, Revision, HAP Coated, 	300mm, size 7 to 19mm	$8,840.00

Titanium

BI139	Mallory Head Hip System	Femoral Stem, Primary,  Titanium	7-19mm x 135 -180mm 	$4,680.00

BI140	Mallory Head Hip System	Acetabular Shell, Ringloc.  Replacement Ring,	Size 1	$190.00

Titanium alloy

BI141	Mallory Head Hip System	Femoral Stem, Primary, HAP Coated,  	7-19mm 	$5,044.00

Titanium

BI142	Mars Acetabular System	Acetabular Shell, Titanium 	Sizes 48 to 60mm	$2,912.00

BI143	Compression Screw Set	Supracondylar Plate, Stainless Steel	6-14 hole	$1,200.00

BI144	Bio-Plug Cement Restrictor	Compression plug, PMMA	Sizes 8-25mm	$400.00

BI145	Vari-Angle Hip System	Compression Hip Screw, Lag + Plate, 	2-14 hole plate, 4.5mm to 15mm 	$2,345.00

Stainless Steel	screws

BI146	AGC Knee System	Revision System consisting of : Femoral 	60-75mm, 80-120mm,  63-83 mm, 	$12,007.00

Component; Femoral Stem, Femoral & Tibial	63-83 mm

Augmentation; Tibial Component., UHMW

BI147	AGC Knee System	Femoral Component, Anatomic, Chrome 	55-80mm	$3,432.00

Cobalt

BI148	AGC Knee System	Tibial Component, High Post Posterior 	63-87mm	$2,184.00

Stabilised, Chrome Cobalt, UHMWPE

BI149	AGC Total Knee System	Tibial Bearing, 'Tradition' Cruciate Retaining,	59-91mm	$1,144.00

UHMWPE

BI150	AGC Knee System	Femoral Component, Anatomic, Post. 	55 to 80mm	$3,400.00

Stabilised Chrome Cobalt

BI152	AGC Knee System	Femoral Component, Universal, Chrome 	55-80mm	$3,260.00

Cobalt

Prostheses List by Category and Sponsor	Page 205 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI153	AGC Knee System	Tibial Component, Moulded, V2, UHMWPE,	63-91mm	$2,184.00

Chrome Cobalt

BI158	AGC Knee System	Femoral Prosthesis, Posterior Stabilised, 	55-80mm	$3,400.00

Universal. Chrome Cobalt

BI159	AGC Total Knee System	Femoral Prostheses, Anatomic, Porous Coat, 	55-80mm	$3,744.00

CoCr, Ti

BI165	AGC Total Knee System	Femoral Prostheses, Posterior Stabilised, 	55-80mm	$3,727.00

Uncemented, Chrome Cobalt

BI166	Compress Finn Limb Salvage System	Distal Femoral Replacement: Anchor Plug, 	15 plugs, 9 segments, 8 pins, 14 	$13,560.00

Femoral segment, transverse pins, centering 	sleeves, 26 spindles

sleeves, spindle. Chrome Cobalt.

BI167	Maxim Complete Knee System	Primary Anatomic Femoral, Uncemented, 	55-80mm	$3,744.00

Chrome Cobalt

BI168	Maxim Complete Knee System	Primary Anatomic Femoral, Cemented, 	55-80mm	$3,432.00

Chrome Cobalt

BI169	Biomet Tibial Tray System	Tibial Plate Primary, Cemented, Titanium	59-91mm	$2,132.00

BI170	Maxim Complete Knee System	Tibial Plate Primary, Uncemented, Titanium	59-91mm	$2,298.00

BI171	Maxim Complete Knee System	Tibial Stem, Titanium	40mm 80mm	$1,024.00

BI172	Maxim Complete Knee System	Tibial Bearing Primary, UHMWPE	59-91mm	$1,144.00

BI173	Maxim Complete Knee System	Tibial Locking Bar, Titanium	One size only	$120.00

BI174	Maxim Complete Knee System	Femoral Component, Posterior Stabilised, 	55-80mm	$3,727.00

Porous, Chrome Cobalt

BI176	Maxim Complete Knee System	Patella Button, UHMWPE 	size 25 to 37mm	$614.00

BI177	Biomet Offset Tibia	One Piece Revision Tibial Plate and Stem 	59-91mm	$2,132.00

Boss, Ti

BI178	Maxim Complete Knee System	Femoral Component, Posterior Stabilised 	55-80mm	$3,400.00

Anatomic Chrome Cobalt

BI179	Maxim Complete Knee System	Tibial Bearing, Posterior Stabilised 	59-91mm	$1,404.00

UHMWPE

BI180	Maxim Complete Knee System	Constrained Anatomic Femoral Component, 	60-75mm	$3,068.00	$6,240.00

Anatomic. Chrome Cobalt

BI181	Maxim Complete Knee System	Tibial Bearing, Contrained. UHMWPE	59-91mm	$1,560.00

BI182	Biomet Tibial Tray System	One Piece Tibial Plate and Stem, CoCr.	59-91mm	$2,902.00

Prostheses List by Category and Sponsor	Page 206 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI183	Maxim Complete Knee System	Tibial Femoral Wedge or Augmentation 	55-80mm	$1,248.00

Block, Titanium

BI184	Biomet Tibial Tray System	Tibial or Femoral Stem, Modular, Titanium	55-80mm	$1,830.00

BI186	Maxim Complete Knee System	Tibial Tray, HA Coated, Ti	59 - 91mm	$2,652.00

BI191	TRAC Knee System	Femoral Component, Posterior Stabilised CoCr	55-80mm	$3,400.00

BI192	TRAC Knee System	Femoral Component, Porous, Posterior 	55-80mm	$3,727.00

Stabilised CoCr, Ti

BI194	Rotating Platform Knee System	Patella Button, UHMWPE, Chrome Cobalt	Size 25 to 37mm	$614.00

BI195	Rotating Platform Knee System	Femoral Component, Posterior Stabilised, 	60-75mm	$3,400.00

Cemented, CoCr

BI196	Rotating Platform Knee System	Tibial Component, Chrome Cobalt	63-87mm	$2,704.00

BI197	Rotating Platform Knee System	Tibial Bearing, UHMWPE	60-75mm	$1,300.00

BI201	AGC Total Knee System - Dual Articular 	Femoral, Tibial, Bearing, Stems, Chrome 	Size 55 to 75mm Fem,  Size 59 to 	$16,110.00

Knee System	Cobalt, UHMWPE	83mm Bearing, Size 37 to 126mm

stems, Size 63 to 91mm tibial

BI202	Repicci II Unicondylar Knee System	Tibial Component, Cemented, UHMWPE	32-42mm	$1,248.00

BI203	Repicci II Unicondylar Knee System	Femoral Component, Cemented, Chrome 	45-60mm	$2,704.00

Cobalt

BI204	Repicci II Unicondylar Knee System	Tibia Plate, Modular, Cemented, Titanium	Std, Large, Xlarge	$1,491.00

BI205	Repicci II Unicondylar Knee System	Tibial Bearing, Modular, UHMWPE	Std, Large, Xlarge	$680.00

BI206	Arthrotek Ligament Fixation System	Washerloc Fixator, Screw, and Fixator Titanium	Fixator 16mm, Screw 24-60mm	$1,085.00

BI207	Bi-Angular Shoulder System	Humeral Prostheses, Titanium	6.5mm-14mm	$3,464.00

BI208	Bi-Angular Shoulder System	Bi Polar Shell, Titanium/ UHMWPE/Chrome	Size 40-60mm	$1,660.00

Cobalt

BI209	Bi-Angular Shoulder System	Bi Polar Head, Chrome Cobalt	Std to +4mm	$1,300.00

BI210	Bi-Angular Shoulder System	Glenoid Metal backed. UHMWPE, Titanium	Small Medium Large x 4 or 7mm	$2,050.00

BI211	Bi-Angular Shoulder System	Glenoid, UHMWPE	Small Medium Large x 4 or 7mm	$1,900.00

BI212	Bi-Angular Shoulder System	Humeral Head, Chrome Cobalt	40-52mm	$1,040.00

BI214	Bio-Modular Shoulder System	Bi-Polar shell/ Titanium, chrome Cobalt	40-60mm	$1,660.00

BI215	Bio-Modular Shoulder System	Humeral Head, Chrome Cobalt	40-54mm	$1,400.00

Prostheses List by Category and Sponsor	Page 207 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI216	Bio-Modular Shoulder System	Humeral Stem, titanium	6-15mm	$3,500.00

BI217	Bio-Modular Shoulder System	Glenoid Component, Cemented, 	Small, Medium, Large x 4 or 7mm	$1,731.00

Titanium/UHMWPE

BI218	Bio-Modular Shoulder System	Modular Head, Chrome Cobalt	Std, +2, +4mm	$1,310.00

BI219	Bio-Modular Shoulder System	Glenoid Liner Noncemented, UHMWPE	Low Profile	$1,020.00

BI220	Bio-Modular Shoulder System	Glenoid Screw	5mm x (15-40mm)	$145.00

BI221	Bio-Modular Shoulder System	Glenoid Shell, Titanium	Low Profile	$1,660.00

BI222	Bio-Modular Shoulder System	Shoulder Offset Head, Chrome Cobalt	40-54mm	$2,330.00

BI223	Nottingham Shoulder System	Humeral Stem, Chrome Cobalt, Titanium	6-12mm	$3,500.00

BI224	Nottingham Shoulder System	Humeral Head, Chrome Cobalt	Std +2, +4mm 	$1,310.00

BI225	Nottingham Shoulder System	Glenoid Tray, Chrome Cobalt	Size 3, 4, 5. 	$1,620.00

BI226	Nottingham Shoulder System	Glenoid Bearing, UHMWPE	Size 3, 4, 5.	$1,100.00

BI227	Kirschner Integrated Shoulder System	Neer II Humeral, Chrome Cobalt, UHMWPE	Stem 6.3 to 12.7mm Head 15-	$3,345.00

22mm

BI228	Kirschner Modular Shoulder	Humeral Head, Modular, Chrome Cobalt	38-51mm	$1,525.00

BI229	Kirschner Modular Shoulder	Humeral Stem, Chrome Cobalt	6.3 -15.9mm	$3,500.00

BI230	Kirschner Modular Shoulder	Glenoid Component, UHMWPE	Small, Std	$1,850.00

BI232	Moore Pins	Scan Pin, Stainless Steel	16mm x 51-152mm	$210.00

BI233	Arthrotek Ligament Fixation System	Suture Button, HMWPE	15mm, 19mm	$185.00

BI234	Arthrotek Ligament Fixation System	Ligament Washer, Titanium	14mm, 18mm	$335.00

BI235	Arthrotek Ligament Fixation System	Bone Screw, Ligament, Titanium	30,35,40mm	$195.00

BI239	Arthrotek Ligament Fixation System	Interference Screw, Titanium	15-30mm	$475.00

BI241	Gentle Threads Ligament Fixation Screws	Screw, Graft Interference, PGA/PLA	7mm, 8mm, 9mm, 10mm	$466.00

BI242	Biomet Plus Bone Cement	Bone Cement, PMMA	40gm	$147.00

BI243	Refobacin Plus Bone Cement	Bone Cement, Gentamicin, PMMA	40gm	$215.00

BI245	EBI Bone Healing System	DC Generator, Titanium, Platium, Silver, 	1, 2 or 4 lead models	$5,020.00

Silicone

BI246	Arthrotek Ligament Fixation System	Bone Mulch Screws, Titanium	10.5mm x (20-35mm)	$445.00

BI248	SST Small Bone Locking Nail	Forearm Nail, Titanium	3.5mm x (180-260mm)	$1,617.00

BI249	SST Small Bone Locking Nail	Screw, Distal Fixator, Titanium	One size only	$115.00

Prostheses List by Category and Sponsor	Page 208 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI250	SST Small Bone Locking Nail	Set Screw w/holder, Titanium	One size only	$115.00

BI251	SST Small Bone Locking Nail	Nail End Cap, titanium	low profile, one size only	$218.00

BI252	SST Small Bone Locking Nail	Fibula Nail, titanium	(3.5, 4.5mm) x 150mm	$1,333.00

BI253	BMP Cable System	Cable Chrome Cobalt	1.6mm or 2.0mm	$348.00

BI254	BMP Cable System	Cable Sleeve, Chrome Cobalt, Stainless Steel	One Size only	$240.00

BI255	BMP Cable System	Trochanteric Grip, Chrome Cobalt	1.6mm or 2.0mm	$545.00

BI256	BMP Cable System	Cable, Stainless Steel	1.6mm or 2.0mm	$320.00

BI258	BMP Cable System	Dynamic Compression Plate, 3 hole, Stainless	One size only	$850.00

Steel

BI259	BMP Cable System	Dynamic Compression Plate, 5 hole, Stainless	One size only	$1,200.00

Steel

BI260	BMP Cable System	Dynamic Compression Plate, 7 hole, stainless 	One size only	$1,638.00

steel

BI261	BMP Cable System	Dynamic Compression Plate, 9 hole, Stainless	One size only	$1,800.00

Steel

BI262	EBI XFIX Dynafix System	Bone Screw, Cortical, tapered, Cancellous, 	2.4mm to 6.00mm diameter	$110.00

Stainless Steel

BI264	EBI XFIX Dynafix System	Distal Radius Fixator, Dimension, Stainless 	One size only	$3,305.00

Steel, Aluminium

BI265	EBI XFIX Dynafix System	Hybrid Fixation System, Stainless Steel, 	Rings - 1/3, 2/3, Rotating, 100mm-	$6,361.00

Aluminium	220mm.  Ring Bolt - Xsmall, adult.

Ring to fixator connector. Rotation

adaptor - male, female, Xsmall,

adult. Variable wire (1 size) or

Variable Screw Carriage (fixed and

angulating). Wire (1.6-2mm x 350-

400mm). Washer (9 -12mm).

BI267	EBI XFIX Dynafix System	Fixator Complete - includes T-Clamp, 	Standard, Small, Extra Small	$5,108.00

Compression/Distraction, Dynamisation,

Articulating Ankle Clamp

BI270	EBI XFIX Dynafix System	Pelvic Fixator  Screws, Stainless Steel, 	One size only	$7,456.00

Aluminium

BI271	EBI XFIX Dynafix System	Wire Straight or Olive with Washer, Chrome 	160 or 200mm x (1.6 or 2.0mm)	$150.00

Cobalt

Prostheses List by Category and Sponsor	Page 209 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI272	EBI XFIX Dynafix System	Distal Radius Fixator, Wristfix, Stainless 	One size only	$2,065.00

Steel, Aluminium

BI275	Lactosorb Suture Anchors	Suture Anchor, Lactosorb, PGA/PLA	2.0mm, 3.0mm	$405.00

BI276	Readsorbable Meniscal Staple	PGA/PLA	11mm, 13mm	$594.00

BI277	Re-Unite Orthopaedic Bone Pin	Bone Pin, PGA/PLA	(1-4)mm dia x (20-70)mm	$160.00

BI278	Re-Unite Orthopaedic Screws	Screw, PGA/PLA	(2-5)mm dia x (5-70)mm	$320.00

BI281	Femoral Interlocking Nail	Nail, Interlocking, Titanium	(10-15mm) x (300 - 440mm)	$688.00

BI282	Femoral Interlocking Nail	Screws, Femoral Nail, Titanium	5mm x (25-70mm)	$84.00

BI283	Femoral Interlocking Nail	Screws, Femoral Nail, Titanium	6.4mm x (70-120mm)	$152.00

BI284	Femoral Interlocking Nail	Screws, Femoral Nail, Titanium	6mm x (30-100mm)	$97.00

BI285	Femoral Interlocking Nail	Femoral Nail End Cap	10-11mm & 12-16mm	$55.00

BI286	Uniflex Tibial Nail	Tibial Nail, Titanium	8-14mm x 240-420mm	$950.00

BI287	Uniflex Tibial Nail	Tibial Nail Transverse Screw, Titanium	4.0, 5.0mm x (20-70mm)	$184.00

BI288	Uniflex Tibial Nail	Tibial Nail, Ti	8 - 9mm x (240-380mm)	$591.00

BI289	Uniflex Tibial Nail	Tibial Nail, Ti	10 - 11mm x (240-420mm)	$673.00

BI290	Uniflex Tibial Nail	Screw, Tibial Nail, Ti	4 - 5mm x (20-70mm)	$87.00

BI291	Uniflex Tibial Nail	Nail, End Cap, Ti	4 - 18mm diameter	$105.00

BI292	Humeral Nail	Humeral Nail, Titanium 	8.0- 9.0mm x (180-280mm)	$990.00

BI293	Humeral Nail	Screws, Transverse Humeral Nail, Titanium	(4.0-4.5mm) x (16-46mm)	$184.00

BI294	Humeral Nail	Nail, Humeral, Titanium	(8.0- 9.0mm) x (180-280mm)	$975.00

BI295	Kuntscher Cloverleaf Medullary Nails 	Stainless Steel	6-12mm x (140-520mm)	$280.00

BI296	Kuntscher Cloverleaf Medullary Nails 	Stainless Steel	13-16mm x (280-520mm)	$1,400.00

BI297	Kuntscher Cloverleaf Medullary Nails 	Stainless Steel	17-20mm x (300-750mm)	$2,000.00

BI298	Rush Intramedullary Pins	Stainless Steel	2.4-6mm x (30-440mm)	$400.00

BI299	Kuntschner Y Nail	Stainless Steel	1.0-3.0mm x (100-310mm)	$145.00

BI302	Knowles Hex Drive Pins	Stainless Steel	4.0, 4.7mm x (57-152mm)	$250.00

BI303	Rush Intramedullary Pins	Stainless Steel	2.4mm x (30-35mm)	$84.00

BI304	Rush Intramedullary Pins	Stainless Steel	3.2mm x (100-250mm)	$300.00

BI305	Rush Intramedullary Pins	Stainless Steel	(2.4, 4.8)mm dia x (30-360)mm	$135.00

Prostheses List by Category and Sponsor	Page 210 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI306	Rush Intramedullary Pins	Stainless Steel	(6 - 6.4mm) x (280 - 440mm)	$175.00

BI309	Compression Hip Screw	Plate, Titanium	2-14 hole x 53-257mm	$1,336.00

BI311	Compression Hip Screw 	Support Screw, Titanium, Stainless Steel	4.5 - 6.5 x (14-70mm)	$200.00

BI312	Compression Hip Screw 	Lag Screw, Titanium, Stainless Steel	12.7, 15mm x (55-150mm)	$30.00

BI313	Cannulated Screws	Fixator, Ulson, Complete Stainless Steel	25mm x 135-200mm	$1,050.00

BI314	Cannulated Screws	Fixator, Ulson, Clamp Assembly	One size only	$350.00

BI315	Compression Hip Screw 	Plate, Stainless Steel	25-38mm x 2-7 hole for use with 	$370.00

plate size 50-150mm

BI316	Compression Hip Screw 	Plate, Stainless Steel 	25-38mm x 8-14 hole for use with 	$440.00

plate size 50-150mm

BI317	Compression Hip Screw 	Lag Screw, Stainless Steel	12.5,14mm x (50-150mm)	$200.00

BI318	Compression Hip Screw 	Cortical Screws Pk 10, Stainless Steel	2.7-4.5mm x (10-140mm)	$23.00

BI319	Compression Hip Screw 	Compression Screw	1.5-4.5 x (6-70mm)	$46.35

BI320	Arthrotek Harpoon System	Suture Anchor, Stainless Steel, Ti	1 to 5	$450.00

BI321	Cannulated Screws (Various)	Ulsan Fixator, Percutaneous Pins (Pair)	135, 200mm	$211.00

BI342	Copeland Shoulder System	Glenoid, UHMWPE	One size only	$1,965.00

BI343	Copeland Shoulder System	Humeral, Chrome Cobalt	Small, Std, Large (no specific size)	$2,330.00

BI344	Copeland Shoulder System	Glenoid Component, HA Coated, Chrome 	Small, Std, Extra Deep (no specific 	$3,300.00

Cobalt, UHMWPE	size)

BI345	Copeland Shoulder System	Humeral Component, Chrome Cobalt	Small, Std, Large (no specific size)	$3,200.00

BI576	Distraction Technology System	Distractor, Flexible Shaft, Facial, Titanium	1 - 3inch	$450.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI580	Distraction Technology System	Distractor, Midface, Drive Screw with Sleeve.  	20 - 30mm	$785.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI582	Distraction Technology System	Plate, Anterior or Posterior, Mid Face	Standard or Long	$1,840.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI586	Distraction Technology System	Mandibular, Straight Plate or Distractor Tree	10-25mm	$2,040.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 211 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI588	Distraction Technology System	Distractor, Paediatric,  Titanium	10 - 30mm	$1,955.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI691	Calcigen-S	Bone substitute, Calcium Sodium Phosphate	5-25mls	$2,875.00

BI692	Reach Revision Hip System	Titanium porous coated bowed stem	Sizes 13 - 19 (L&R) by 200mm 	$4,668.00

Length

BI693	Reach Revision Hip System	Titanium porous coated bowed stem	Sizes 13 - 19 (L&R) by 250mm 	$4,668.00

Length

BI694	Reach Revision Hip System	Titanium porous coated straight stem	Sizes 13 - 19  by 200mm Length	$4,668.00

BI695	Liverpool Radial Head Replacement System	Porous Coated CO CR Stem	16 x 18mm length, 18 x 14 - 28mm	$2,900.00

Length

BI696	Olympia Stem	Anatomic design CO CR femoral stem	L & R 6 sizes (1 to 6)	$2,315.00

BI697	Small Fragment Set	Stainless Steel Screws	3.5, 4.0mm length, Sizes 10 - 	$55.00

60mm

BI698	Small Fragment Set	Stainless Steel Plates	Plates 25 - 125mm	$100.00

BI699	McLauglin Plus 5 Acetabular Shell	Acetabular Titanium Shell	46 - 80mm	$2,080.00

BI700	Par 5 Protrusio Acetabular System	Obturator Hook - Titanium Metal	One size only	$1,426.00

BI701	Par 5 Protrusio Acetabular System	Blade - Titanium Metal	One size only	$1,426.00

BI702	Par 5 Protrusio Acetabular System	Screws - Titanium Metal	6.5mm	$450.00

BI703	Par 5 Protrusio Acetabular System	Acetabular Flange - Titanium Metal	Short (L,R,N), Medium (L,R,N), 	$1,426.00

Long (L,R,N)

BI704	Par 5 Protrusio Acetabular System	Acetabular Shells - Titanium Metal	56 - 72mm	$6,380.00

BI768	Mandibular Fracture System	Screw, IMF 2./2.4 Mandibular Fracture, 	2.0 x (9-13)mm	$45.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI769	Mandibular Fracture System	Screw, IMF, 2.0/2.4 Mandibular Fracture, 	Dia 2.0 x 5.0, 7.0mm length	$40.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI770	Exceed Acetabular System	Shell, Ti	Shell sizes 40-70mm	$2,704.00

BI771	Rotating Platform Knee System	Tibial component, Porous, CoCr, Ti	63-87mm	$3,900.00

BI775	EBI XFIX DynaFix System	Distal radius fixator, wristfix, sterile, complete	One size only	$2,460.00

BI776	EBI XFIX DynaFix System	OptiROM Articulating Fixator Complete	Small and Large	$8,042.00

Prostheses List by Category and Sponsor	Page 212 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI777	EBI XFIX DynaFix System	Mini fixator/lengthener with comp/dist	Small, Medium, Long, 100mm, 	$2,413.00

150mm

BI778	PLR Splined Revision Stem	Splined Straight Stem, Ti	14-24mm x 270mm	$5,408.00

BI779	CDH Hip System	Femoral Stem, porous coated, Ti	8-12 mm Diameter	$5,044.00

BI780	Optiplug Cement Restrictor	Restrictor, PEGT/PBT	10-20mm Diameter	$120.00

BI781	Discovery Elbow System	UHMWPE, Ti	3 - 6 mm x 75 - 150 mm	$9,700.00

BI783	M2a Modular Head Component & Special 	Metal on Metal Acetabular, Chrome Cobalt, 	48-70 mm	$5,588.00

Acetabular Cup	Ti

BI789	Ascent Knee System	Femoral augmentation block, posterior or 	4, 8, 12mm	$1,371.00

distal, titanium

BI790	Ascent Total Knee System	Femoral, cruciate retaining, anatomic, 	X-Small to XX-Large	$3,432.00

cemented, chrome cobalt

BI794	Ascent Total Knee System	Femoral, cruciate retaining, anatomic, 	X-Small to XX-Large	$3,744.00

uncemented, chrome cobalt, titanium porous

coat

BI795	Ascent Total Knee System	Femoral, anatomic, posterior stabilised, open 	X-Small to X-Large	$3,400.00

box, cemented, chrome cobalt

BI796	Ascent Total Knee System	Femoral, anatomic, posterior stabilised, open 	X-Small to X-Large	$3,727.00

box, uncemented, chrome cobalt, titanium

porous coat

BI797	Weil-Carver Hammertoe Implant	PGA/PLA	One size only	$320.00

BI798	Ascent Total Knee System	Tibial bearing, cruciate retaining, UHMWPE, 	59, 63/67, 71/75, 79/83, 87/91mm 	$1,144.00

curved or lipped	widths, 10-20mm thicknesses

BI799	Ascent Total Knee System	Femoral Anatomic, posterior stabilised or 	X-Small to X-Large	$3,068.00	$6,240.00

constrained, closed box, cemented, chrome

cobalt

BI800	Ascent Total Knee System	Femoral revision stem w/screw, coronal slot, 	5 or 7 degree, 100mm, 150mm 	$2,922.00

titanium	lengths, 10-24mm diameters

BI801	Ascent Total Knee System	Tibial bearing, posterior or anterior stabilised, 	59-91mm width x 8-20mm 	$1,144.00	Also grouped in Knee Group 5c

UHMWPE	thickness

BI802	Ascent Total Knee System	Tibial bearing, constrained, UHMWPE	59, 63/67, 71/75, 79/83, 87/91mm 	$1,560.00

widths, 10-20mm thicknesses

BI803	ST Pro Nailing System	End cap, stainless steel	Dia 8-16mm	$80.00

Prostheses List by Category and Sponsor	Page 213 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI804	ST Pro Nailing System	Fixation screws, stainless steel	Fully threaded - dia 4-6mm, 20-	$90.00

100mm length; Partially threaded -

dia 6.4mm, length 70-120mm

BI805	ST Pro Femoral Nail	Cannulated, stainless steel	Dia 10-16mm, length 260-520mm	$730.00

BI806	ST Pro Humeral Nail	Solid, stainless steel	Dia 8-9mm, length 180-280mm	$660.00

BI807	ST Pro Tibial Nail	Cannulated, solid, stainless steel	Dia 8-11mm, length 240-420mm	$550.00

BI809	Lactosorb Suture Anchor	Threaded, PGA/PLA	Dia 3.5mm, 5.5mm	$444.00

BI810	Maxim Complete Knee System	Tibial bearing & tray, ' Pop Top' Cruciate 	51-91mm	$3,900.00

Retaining or Posterior Stabilised, CoCr

UHMWPE

BI811	Maxim Complete Knee System	Offset tibial tray & adapter, fixation screws, 	Width 59-91mm offset tibial trays 	$4,212.00

chrome cobalt, titanium	neutral; 2.5mm, 5.0mm offset tibial

tray adapters

BI818	EBI XFIX Dynafix System	Rail (Aluminium/Titanium)	100-420mm	$690.00

BI819	EBI XFIX Dynafix System	Multi Axial Correction and Metaphyseal Arc 	4-8cm, Xsmall - Adult	$5,075.00

Module complete with T-clamp

BI820	EBI XFIX DynaFix System	Screw, HA coated, cortical, cancellous	Dia 2-6mm	$274.00

BI821	AGC Total Knee System	Tibial augments, titanium	6-16mm	$1,264.00

BI823	Alveolar Ridge Distraction System - titanium	distraction device, single tooth	10-20mm	$1,312.00

BI824	Alveolar Ridge Distraction System - titanium	distraction device, multi tooth	10-20mm	$1,360.00

BI825	Alveolar Ridge Distraction System - titanium	Shim plate, titanium	1-3mm	$100.00

BI826	Meniscal Screw	Screw PGA/PLA	One size only	$340.00

BI827	EBI XFIX Vision System	Rod Clamps/Connector, stainless 	Dia 9.5mm	$2,300.00

steel/aluminium

BI828	EBI XFIX Vision System	Clamp/Rod, stainless steel/aluminium	4mm/6mm, 3-5 hole, 50-150mm	$1,175.00

BI829	EBI XFIX Vision System	Screw, Transfixing, Stainless steel	4 - 6mm diameter	$410.00

BI830	EBI XFIX Vision System	Ring Connector Assembly, stainless 	1 or 2 bolt model	$1,450.00

steel/aluminium

BI831	EBI XFIX Vision System	Post, Bone Screw, Telescoping, stainless steel	One size only	$850.00

BI832	EBI XFIX Vision System	Rods, Bars, stainless steel/aluminium/carbon 	Dia 9.5mm, 150-400mm length	$185.00

fibre

BI834	EBI XFIX DynaFix System	Screw, VS Osteotomy System, Ti	6mm x (30mm-110mm)	$131.00

Prostheses List by Category and Sponsor	Page 214 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI835	Bio-Modular Shoulder System	Extended Articular Surface Humeral Head, CrCo	40 - 54mm	$1,950.00

BI836	Par 5 Protrusio Acetabular System	Acetabular Shell CrCo, Ti, Ha Coated	56 - 72mm	$6,760.00

BI837	Reach Revision Hip System	Modular Reach Proximal Body - 	Proximal Body #1 - 6	$4,992.00

Collared/Collarless, CrCo, Ti, HA Coated

BI838	Resurfacing Hip System	Femoral Head CoCr, Ti, HA Coated	38 - 60mm	$4,056.00

BI839	Resurfacing Hip System	Femoral Head CoCr, Cemented	38 - 60mm	$3,307.00

BI840	Resurfacing Hip System	Femoral Head CoCr, Ti	38 - 60mm	$4,056.00

BI841	Resurfacing Hip System	Acetabular Shell CoCr, Ti	44 - 66mm	$5,084.00

BI842	Resurfacing Hip System	Acetabular Shell CoCr, Ti, HA Coated	44 - 66mm	$5,084.00

BI843	EBI XFIX DynaFix System	Plate, VS Osteotomy  Ti	4 hole, 6 hole	$975.00

BI844	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	40 gm (2 x 20 gm)	$215.00

BI845	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	80 gm (2 x 40 gm)	$275.00

BI846	Generation 4 Bone Cement	Bone Cement, Methacrylate- Styrene copolymer	40gm pack	$400.00

BI847	Generation 4 Bone Cement	Bone Cement, Methacrylate- Styrene copolymer	80gm pack	$500.00

BI849	EBI XFIX DynaFix System	OptiROM Passive Distractor Module	One Size Only	$2,600.00

BI850	EBI XFIX DynaFix System	Hip Distractor Aluminium, Stainless Steel, 	One Size Only	$5,989.00

Titanium

BI851	EBI XFIX Dynafix System	Clamp (Straight, Transport, Rotational T-	Ex Small, Small, Adult, 4-6mm	$1,662.00

clamp, Adaptor, Lenghtener, Shim, Single)

BI852	EBI XFIX Dynafix System	Clamp (Rotational Serrated T-clamp, Swivel, 	Ex Small, Small, Adult, 4-6mm	$3,348.00

Translational, Uniplaner, CD)

BI853	EBI XFIX Dynafix System	CD Clicker	Ex Small, Small, Adult, 5-20cm	$2,413.00

BI854	EBI XFIX Dynafix System	Rail Accessory (Adaptor, CD Support, 	Ex Small, Small, Adult, 4-6mm	$1,020.00

Dynamization, Bridge)

BI855	EBI XFIX Dynafix System	Wrench	Ex Small, Small, Adult, 4-6mm	$200.00

BI856	EBI XFIX Dynafix System	Rail (Carbon Fiber)	100-420mm	$2,950.00

Prostheses List by Category and Sponsor	Page 215 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI857	Kirschner Wires	Stainless Steel wire	(1-3.2mm) diameter x (100 to 	$17.00	To be funded where any or all K-

310mm) length	wires used in a procedure are used as

an implant.

BI859	Oxford Meniscal Knee System	Mark III Femur, Porous or HA Coated, CoCr, 	Small - Extra Large	$2,450.00

Ti, HA.

BI860	Oxford Meniscal Knee System	Mark III Tibial Tray, HA or Porous coated, 	(38-53) x (26-34)mm	$2,524.00

CoCr, HA, Ti.

BI861	Oxford Meniscal Knee System	Mark III Tibial Bearing, Anatomic, 	(Small - Extra Large) x (3-9)	$790.00

UHMWPE.

BI863	AGC Knee System	Tibial Component, Moulded, V2 Porous 	(63-91) x (8-22)mm	$2,902.00

coated UHMWPE, Chrome Cobalt, Ti

BI864	Orthopaedic Salvage System	Stem, Cemented or Porous, Ti	(9-19)mm diameter x  (90-300)mm 	$3,037.00

length

BI865	Orthopaedic Salvage System	Femoral Component, Resurfacing or 	30 - 70mm	$8,211.00

Segmental, CoCr,Ti

BI866	Orthopaedic Salvage System	Femoral or Tibial Augment, Ti	Femoral Sleeve - One Size; Femoral	$2,137.00

Flange - One Size; Tibial Block

Augment 10-20mm;  Tibial

Augment Sleeve - Small/Large

BI867	Orthopaedic Salvage System	Femoral/Tibial Interlocking devices:Locking 	One size only except for Locking 	$5,408.00

Pin, Femoral and Tibial Bushings, Tibial 	Screw - Small or Large; Tibial

Bearing, Axle, Reinforced Yoke, Locking 	Bearing - 12-22mm

Screws. CoCr, Ti

BI868	Orthopaedic Salvage System	Diaphyseal Segment or Diaphyseal Coupler, 	Diaphyseal Segment 3-23cm, 	$4,410.00

Stacking Adapter and Locking Screws, Ti	Diaphyseal coupler 10-30cm

BI869	Orthopaedic Salvage System	Tibial Component, Resurfacing or Segmental, 	63-83mm	$8,102.00

Modular and non Modular, CoCr, Ti

BI871	Vanguard unicondylar Knee System	Tibial Component, CoCr UHMWPE	(A-E) x (5-8)	$2,288.00

BI872	MAX-Ti Modular Protrusio Cage	Modular Protrusion Cage, Ti	Protrusio Cage 52, 56, 60, 64, 68, 	$6,961.00

72mm Left & Right

BI874	MAX-Ti Modular Protrusio Cage	Modular Protrusion Cage, Ti	Iliac Flange Augment 6mm Flat & 	$889.00

Wedge

BI875	Endo II Head	Modular Head - CoCr	41 mm through 61mm	$988.00	Used with BI876

BI876	Endo II Head	Modular Head Taper Insert - CoCr	-6mm to +6mm	$260.00	$520.00	Taper insert for BI875

BI877	Freedom 36 mm Modular Head	Modular Head	36mm,  -6mm to +9mm	$988.00

Prostheses List by Category and Sponsor	Page 216 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI878	Freedom Constrained Liner	Constrained Acetabular Liner - UHMWPE, Ti	23 to 62	$1,836.00

BI879	Refobacin Plus Bone Cement	Bone Cement, Methyl methacrylate, Gentamicin	20gm (1 x 20 gm)	$180.00

BI880	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Proximal Body - Std to +20	$5,200.00

BI881	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Segment - 80 to 140 mm	$4,500.00

BI882	Mosaic Humeral Replacement System	Mosaic System - CoCr, Ti	Stem - 6.5 to 14.5 mm x 50 to 200 	$3,000.00

mm

BI884	Comprehensive Fracture Stem	Fracture Stem Cobalt Chrome, Titanium	4,6,8,10,12,14mm	$3,969.00

BI885	ROCC Knee Prosthesis	Rotating Platform Bearing, ARCOM 	1-6 (tray size), 10-20mm (bearing 	$1,300.00

UHMWPE	size)

BI886	Vanguard Total Knee System	Femoral Component, CR, uncemented, 	55, 57.5, 60, 62.5, 65, 67.5, 70, 	$3,952.00

anatomic, CoCr, Ti	75, 80 Left and Right

BI887	ROCC Knee Prosthesis	Femoral Component, uncemented, anatomic, 	1-8	$4,272.00

HA or Porous HA Coated, CoCr, HA, Ti'

BI888	Vanguard Total Knee System	Tibial Bearing, CR, curved or lipped, 	59, 63/67, 71/75, 79/83, 87/91 	$1,144.00

UHMWPE	widths, 10, 12, 14, 16, 18, 20mm

thicknesses

BI889	Orthopaedic Salvage System	Proximal Femoral Component, Letson or 	7cm Left or Right	$6,552.00

Finn, Anatomic, Ti

BI890	Rotating Hinge Knee (RHK)	Augments, Femoral and Tibial, CoCr, Ti	Femoral; 10, 20, 30mm LL, LM, 	$1,872.00

RL, RM, Tibial; 10, 15mm

RM/LL, RL/LM, 20mm

BI891	Rotating Hinge Knee (RHK)	Resurfacing Tibial Tray, Modular and Stemmed	Stemmed 59, 63, 67, 71mm widths;	$7,176.00

Modular 59, 63, 67, 71, 75, 79,

83mm widths

BI892	Rotating Hinge Knee (RHK)	Femoral Component, Resurfacing, 	Small, Standard, Large; Left and 	$7,384.00

cemented,anatomic, CoCr	Right

BI893	Rotating Hinge Knee (RHK)	Interlocking Components: Bearing Insert, 	Bearing Insert - 12, 14, 16, 18, 	$4,841.00

Yoke, Tibial and Femoral Bushings, Axle, 	20mm thicknesses, Yoke - short and

Axle Locking Pin, UHMWPE, Ti, CoCr	 long, Axle - one size, Axle Lock

Pin - one size, Tibial and Femoral

Bushings - one size

BI894	ROCC Knee Prosthesis	Tibial Baseplate, Cemented, Chrome Cobalt, 	1-8	$2,704.00

UHMWPE

Prostheses List by Category and Sponsor	Page 217 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI895	M2A Magnum Prosthesis	Taper Insert, Cobalt chrome	42 - 50mm, -6, -3, STD, +3, +6, 	$520.00	Taper insert for BI896

+9; 52 - 60mm, -6, -3, STD,

3, +6, +9

BI896	M2A Magnum Prosthesis	Femoral Modular Head, Cobalt Chrome	38, 40, 42, 44, 46, 48, 50,52, 54, 	$2,392.00	Used with BI895

56, 58, 60mm

BI897	Vanguard Total Knee System	Femoral Component, Posterior Stabilised, 	55, 57.5, 60, 62.5, 65, 67.5, 70, 	$3,400.00

Cemented, anatomic, CoCr.	75, 80 Left and Right

BI898	Vanguard Total Knee System	Femoral Component, CR, Cemented, 	55, 57.5, 60, 62.5, 65, 67.5, 70, 	$3,432.00

anatomic, CoCr.	75, 80 Left and Right

BI899	ROCC Knee Prosthesis	Patella Component, all PE, cemented, 1 peg, 	1-8	$614.00

UHMWPE

BI900	ROCC Knee Prosthesis	Tibial Baseplate, uncemented, HA coated or 	1-8	$3,900.00

Porous HA coated, CoCr, Ti, HA, UHMWPE

BI901	ROCC Knee Prosthesis	Patella Component, rotating, uncemented, 3 	1-8	$1,352.00

pegged, HA or Porous HA, CoCr, UHMWPE,

Ti, HA

BI902	ROCC Knee Prosthesis	Femoral Component, cemented, anatomic, 	1-8	$3,400.00

CoCr

BI903	ROCC Knee Prosthesis	Patella Component, rotating, cemented, 3 	1-8	$1,352.00

pegged, CoCr, UHMWPE

BI904	Vanguard Total Knee System	Tibial Bearing, PS, PS+.  UHMWPE	59, 63/67, 71/75, 79/83, 87/91, 	$1,560.00

widths, 10. 12, 14, 16, 18, 20, 22,

24mm thicknesses

BI905	AGC Total Knee System	Tibial Bearing 'Tradition' Posterior Stabilised,	59-91mm	$1,404.00

UHMWPE

BI906	TRAC Knee System	Tibial Tray CoCr	59 -91mm	$2,704.00

BI907	TRAC Knee System	Bearing Posterior Stabilised UHMWPE	59 - 91mm	$1,300.00	$1,788.00

BI908	TRAC Knee System	Tibial Tray, Porous CoCr	59 - 91mm	$3,900.00

BI909	Oxford Tricompartmental Knee System	Tibial Component, Porous, HA Coated, 	63 - 87mm	$3,900.00

CoCr, Ti, HAP

BI910	Oxford Tricompartmental Knee System	Femoral Component, Posterior Stabilised, 	60 - 75mm	$3,727.00

Porous, CoCr, Ti

BI911	Oxford Tricompartmental Knee System	Femoral Component, Posterior Stabilised, 	60 -75mm	$4,272.00

Porous, HA Coated, CoCr, Ti, HAP

BI913	Rim Cup	Acetabular Cup Inserts Ceramic 28mm	23 to 26mm	$2,496.00

Prostheses List by Category and Sponsor	Page 218 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI914	Batcup	Revision Acetabular Cup including locking 	21 to 24mm	$4,680.00

ring and lugs

BI915	Batcup	6.5mm Ti Cancellous Bone Screws	12mm to 45mm	$180.00

BI916	Rim Cup	Acetabular Cup Inserts UHMWPE 28mm	21 to 26mm	$613.00	$1,144.00

BI917	Rim Cup	Acetabular Shell Porous/HA Ti	44 to 64mm	$2,704.00

BI918	Helios Hip System	Revision Hip Uncemented Stem	10 x 120mm to 20 x 280mm	$4,836.00	$6,630.00

BI919	Helios Hip System	Revision Neck with Screw	40mm to 80mm	$3,640.00	$5,834.00

BI920	EZLoc Femoral fixation Device	Ligament Anchor, Ti, PE	7-8; 9-10mm x Short, std or long.	$445.00

BI921	EBI Paediatric Locking Nail System	Femoral Locking Nail - titanium;	28 -42cm x 5.5 - 6.5mm	$1,000.00

BI922	EBI Paediatric Locking Nail System	Screw Pilot Double Thread - titanium;	20 - 68mm x 4.0mm	$140.00

BI923	EBI Paediatric Locking Nail System	Nail end cap, titanium	5.5mm - 6.5mm	$150.00

BI925	Mallory Head Hip System	Femoral Stem, Cobalt Chrome, Polished	7-19mm	$2,315.00

BI926	Impact Modular Total Hip System	Femoral Segment, Diaphyseal, Standard. 	16-21mm Diameter	$2,288.00

Titanium

BI927	Modular Ceramic System	Ceramic Head, Zirconium	28-32mm -6mm to +12mm	$1,872.00

BI928	Tripolar Acetabular Cup Series	Ringloc Series, UHMWPE, Chrome Cobalt	24-28mm	$3,346.00

BI932	PPF Hip System	Hip femoral stem std & Lat ti-6A1-4V	00 thru 12	$3,588.00

BI933	Vanguard SSK Knee System	Femoral Component, CoCr, Ti	55 to 80mm	$3,068.00	$6,240.00

BI935	Generation 4 - Polished Hip System	Femoral Stem, Cobalt Chrome, Cemented	9-17mm	$1,750.00	$2,315.00

BI936	GPS Bone Biologics	TCP Granules/GPS, TCP	10ml	$1,936.00

BI937	GPS Bone Biologics	TCP Granules/GPS, TCP	20ml	$2,150.00

BI938	GPS Bone Biologics	TCP Granules/GPS, TCP	50ml	$3,980.00

BI939	Vanguard SSK Knee System	Tibial Bearing Insert, PSC, UHMWPE	59-75mm x (10-24mm)	$1,500.00

BI940	Peritrochanteric Nail System	Lag Screw, Telescoping, Ti	65mm - 120mm	$896.00

BI941	Peritrochanteric Nail System	Lag Screw, Solid, Ti	65mm - 120mm	$406.00

BI942	Peritrochanteric Nail System	Trochanteric Nail Ti	24cm - 48cm	$2,060.00

BI943	Peritrochanteric Nail System	End Cap Ti	0 - 15mm	$225.00

BI944	M2a 38 Femoral Head	Metal on Metal Femoral Head, Cobalt Chrome	38mm	$1,794.00

BI945	Vanguard PFR	Femoral Component, Ti	XS to Xlarge	$2,855.00

Prostheses List by Category and Sponsor	Page 219 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI946	Calcibon	Granules or paste, TCP	10cc	$1,080.00

BI947	Calcibon	Granules or paste, TCP	20ml	$1,545.00

BI948	Calcibon	Granules or paste, TCP	50ml	$3,000.00

BI950	Explor Radial Head	Radial head stem. Ti	Heads 20-24mm Stems 5-9mm	$4,490.00

BI951	Vanguard Total Knee System	Femoral Component, Posterior Stabilised, 	55-80	$3,727.00

anatomic, Plasma Porous Coated, CoCr & Ti

alloy

BI952	Vanguard Total Knee System	Femoral Augments, anatomic, distal or 	5-15mm x 55-80mm	$1,318.00

posterior, Ti alloy

ConMed Linvatec Australia Pty Ltd

LV001	Linvatec Super Revo Soft Tissue Anchor	Contains screw, driver and sutures	$357.00	$450.00

LV002	Li Medical Ultrasorb Bioabsorable Suture 	Contains anchor, non-absorbable suture, 	$410.00	$434.50

Anchor	surgical needles

LV003	Ultrafix RC, Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	$300.00

LV005	Ultrafix MiniMite StitchPak Suture Anchor	Soft Tissue Re-attachment - Stainless Steel	2.3mm predeployed diameter	$338.00

LV006	Ultrafix RC StitchPak Suture Anchor	Soft Tissue Re-attachment - Titanium	2.9mm predeployed diameter	$325.00

LV007	Bio Twist Bioabsorbable Rotator Cuff Anchor	Soft Tissue Re-attachment - PLLA	6mm diameter	$275.00

LV008	Preloaded Bio-Anchor Absorbable Suture 	Soft Tissue Re-attachment - PLLA	3.5mm diameter	$300.00	$360.00

Anchor

LV009	Revo Cancellous Screw	Soft Tissue Re-attachment - Titanium	4mm diameter	$335.00

LV010	Mini-Revo Screw	Soft Tissue Re-attachment - Titanium	2.7mm diameter	$340.00

LV011	Soft Tissue Anchoring Implant - Spiked 	Soft Tissue Re-attachment - Titanium	1.3 x 14mm -  2.5 x 20mm	$335.00

Washer

LV012	Soft Tissue Anchoring Implant - Flat Washer	Soft Tissue Re-attachment - Titanium	14, 17mm	$162.00

LV013	Soft Tissue Anchoring Implant - Cortical 	Soft Tissue Re-attachment - Titanium	30 -  80mm	$175.00

Screw

LV014	Soft Tissue Anchoring Implant - Cancellous 	Soft Tissue Re-attachment - Titanium	25 -  65mm	$200.00

Screw

LV015	Staple Fixation System	Soft Tissue Re-attachment - Titanium	9.5 - 16.5mm	$160.00

LV016	Propel Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 	$150.00	$220.00

30mm

Prostheses List by Category and Sponsor	Page 220 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LV017	Guardsman Femoral Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 	$185.00	$260.00

30mm

LV018	Cannulated Interference Screws	ACL Fixation - Titanium	Diameter 7.0 - 9.0mm, Length 20 - 	$148.00	$220.00

40mm

LV019	BioScrew Bioabsorbable Interference Screw	ACL Fixation - PLLA	Diameter 7.0 - 9.0mm, Length 20 - 	$251.48	$330.00

30mm

LV021	BioStinger - V Bio - Absorbable Meniscal 	Meniscal Repair Device - PLLA	10mm - 16mm	$270.00

Repair Device

LV022	EndoPearl Bio-Absorbable Implant - ACL 	ACL Fixation - PLLA	7mm - 9mm	$164.00	$195.00

Fixation

LV024	Ultrafix MicroMite Small Joint Anchor	Suture Anchoring Device - Titanium	1.5mm predeployed diameter	$290.00	$385.00

LV025	Staplizer Bone Staple Cartridge	5 Titanium staples per cartridge	7 x 7mm, 7 x 10mm, 10 x 7mm, 	$295.00	$370.00

10 x 10mm, 10 x 15mm, 13 x

7mm, 13 x 10mm, 13 x 15mm, 13

x 20mm, 16 x 10mm, 16 x 15mm,

16 x 20mm, 16 x 25mm

LV027	Pre-Loaded Ultrafix RC Anchor	Surgical Grade Stainless Steel, preloaded with 	Dia 2.9mm, length 6.5mm	$375.00	$445.00

2 #2 sutures

LV028	Pre-loaded BioStinger Bio-Absorbable 	Violet, PLLA	10, 13, 16mm	$309.00	$350.00

Meniscal Repair Implant

LV050	Bionx Implants - Rods 	PGA, PLA or PLLA	1.5mm x 10-70mm	$250.00	$325.00

LV051	Bionx Implants - Rods 	PGA, PLA or PLLA	2.0mm	$275.00	$350.00

LV052	Bionx Implants - Rods 	PGA, PLA or PLLA	3.2mm x 30-70mm	$300.00	$375.00

LV055	Bionx Implants - Screws	PLA Full Thread 	3.5mm	$340.00	$415.00

LV056	Bionx Implants - Screws	PLA Full Thread 	4.5mm	$360.00	$435.00

LV057	Bionx Implants - Screws	PLA Cannulated	4.5mm	$380.00	$450.00

LV058	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 10-28mm	$335.00	$415.00

LV059	Bionx Implants - Screws	PLLA Lag Screw 	3.5mm x 30-45mm	$340.00	$415.00

LV060	Bionx Implants - Screws	PLLA Lag Screw 	4.5mm x 25-70mm	$370.00	$450.00

LV061	Bionx Implants - Screws	PLLA Lag Screw 	6.3mm Diameter	$494.00	$550.00

LV062	Bionx Implants - screws	ACL PDLA Screws & Wedges	Dia 5mm, 7mm, 8mm, 9mm	$346.00	$515.00

LV063	Bionx Implants - rods	PLLA (Smart Nail)	1.5mm	$225.00	$431.00

LV065	Bionx Implants - screws	PLLA Screws (Contour Labral Nail)	3.5mm	$333.00	$415.00

Prostheses List by Category and Sponsor	Page 221 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LV066	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 6 - 10mm	$267.24	$345.00

LV067	Bionx Implants - screws	Biofix PLA full threaded crosshead screw	Dia 2mm, length 12 - 20mm; Dia 	$287.73	$365.00

2.7mm, length 6 -24mm

LV071	Contour Meniscus Arrow	80L/20D, LPLA & PLLA	1.1mm x 10, 13,16mm	$230.00	$285.00

LV072	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 1	1.1mm x 10, 13,16mm	$230.00	$285.00

LV074	Contour Meniscus Arrow	80L/20D, LPLA, Pre-loaded Cartridge Pack of 3	1.1mm x 10, 13,16mm	$690.00	$844.00

LV075	Bionix Screws	Biocuff C PLA Screw	6.0mm OD x 28mm LONG; 6.0mm	$400.00	$480.00

OD x 36mm LONG

LV077	BioScrew XtraLok Tibial Fixation Device	PLLA	Diameter 8, 9, 10, 11mm; Length 	$262.00	$335.00

35 & 40mm

LV078	UltraFix Knotless Minimite Suture Anchor	Titanium	Diameter 2.3mm	$439.60	$520.00

LV084	SmartNail 2.4	Self-reinforced 96L / 4D PLA	16, 25, 35 & 45mm	$220.00

LV088	SmartPin Resorbable Bone Fixation Pin, 1.1mm	Self-Reinforced PLLA	10, 20, 30 & 40mm	$220.00

LV089	Duet Suture Anchor	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	$450.00

LV090	Super Revo Sholder Anchor with Herculine 	5.0mm dia. Titanium, 14.2mm Long Anchor	5.0mm dia. Titanium, 14.2mm 	$395.00

Suture	Long Anchor

LV091	ThRevo Suture Anchor	Titanium screw-in suture anchor	5.0mm OD x 14.2mm L	$410.00

LV092	Duet Suture Anchor System with Hi-Fi Suture	Self-Reinforced 96L/4D PLA Copolymer	6.0mm O.D. x 16.5mm L	$460.00	$525.00

LV093	Impact Suture Anchor System with Hi-Fi 	Self-Reinforced 96L/4D PLA Copolymer	3.5mm O.D. x 10.5mm L	$460.00	$575.00

Suture

Corin Australia Pty Ltd

CR002	Corifix Radial Head Implant	Cobalt chrome	Small - Large	$1,325.00

CR003	Rotaglide + Total Knee System, Stem 	Cobalt chrome	30mm - 70mm	$858.00

Extensions

CR004	Rotaglide + Total Knee System	Tibial Augmentation Blocks	Small 4mm - Large12mm	$536.00

CR005	Rotaglide + Total Knee System, Patella 	Asymmetric	Sml (35/29mm)) - Lg (43/37mm)	$520.00

UHMWPE

CR006	Rotaglide + Total Knee System, Patella 	Dome	Sml (26mm OD) - Lg (34mm OD)	$520.00

UHMWPE

Prostheses List by Category and Sponsor	Page 222 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CR007	Rotaglide + Total Knee System, Tibial Insert 	Mobile	7mm - 17mm	$858.00

UHMWPE

CR008	Rotaglide + Total Knee System, Tibial Insert 	Fixed	9.5mm - 17mm	$858.00

UHMWPE

CR009	Rotaglide + Total Knee System, Tibial 	Latched, HAP Coat	Ex Sml - Ex Lge	$4,108.00	Also grouped in Knee Group 3m

Component

CR010	Rotaglide + Total Knee System, Tibial 	Latched, Cemented	Ex Sml - Ex Lge	$2,132.00

Component

CR011	Rotaglide + Total Knee System, Femoral 	Pegged, Hap Coat	Ex Sml - Ex Lge	$4,000.00

Component

CR013	Rotaglide + Total Knee System, Femoral 	Pegged, Cemented	Ex Sml - Ex Lge	$2,808.00

Component

CR014	Rotaglide + Total Knee System, Femoral 	Stemmed, HAP Coat	Ex Sml - Ex Lge	$4,000.00

Component

CR015	Rotaglide + Total Knee System, Femoral 	Stemmed, Cemented	Ex Sml - Ex Lge	$3,016.00

Component

CR016	Cormet 2000 - Modular Endo Head	CoCr alloy	>32mm	$2,392.00

CR017	Cormet 2000 Resurfacing Hip System	Resurfacing femoral head Cobalt chrome HAP 	Dia 40 - 56mm	$4,056.00

coated

CR020	Metalok Femoral Head	Carbon Cobalt Chrome Alloy	Head 28mm (short/med/long neck)	$1,263.00

CR024	Taper Fit Hip System	Double taper stainless steel total hip 	sizes 1-4	$1,976.00

CR027	Freeman -Morgan Total Hip System	Canal occluder	12,14,16mm diameter	$334.00

CR029	CoCr Femoral Head	CoCr femoral head 11/13 and 12/14 taper	22,26,28,32mm	$728.00

CR031	LARS Interference Screw	Titanium Interference screw	5.2 - 10mm diameter, 	$340.00	$450.00

15 - 30mm

CR032	Lars Ligamanet Augmentation reconstruction 	Woven polyester prosthetic ligaments	60,80,100 & y shaped fibres	$4,156.00	$4,534.00

system

CR033	Dysplasia Cup Screw	Tapered, constant thread screw	Lengths 25 - 70mm	$285.00

CR041	Hardinge Canal Occluder	UHMWPE	One size only	$165.00

CR042	Cenator Hip System	Acetabular Cup, Ultra High Molecular weight 	Dia 40 - 62mm, 22, 26, 28 heads	$572.00

Polyethylene

CR044	Taperfit Stem Centraliser	Polymethyl Methacrylate	Small & Standard	$150.00

Prostheses List by Category and Sponsor	Page 223 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CR045	Femoral Head	Stainless Steel Modular Femoral Head	Dia 22, 26, 28 & 32mm, Short, 	$723.00

Std, Long & Extra Long Neck

Length

CR047	Cormet Resurfacing Head Cemented	Cobalt Chrome	Dia 40 -56mm	$3,307.00

CR048	Cormet Resurfacing Cup	Cobalt Chrome TiAlloy and HAP Bicoat	Dia 40 -56mm	$5,084.00

CR057	Uniglide Tibial Component	Cobalt Chrome Titanium Nitrate Ceramic 	1-8	$2,524.00

Coated, Bonit (Calcium Phosphate) Ingrowth

Surface

CR058	Uniglide Femoral Component, Bonit Coated	Cobalt Chrome, Titanium Nitrate Ceramic 	1-4	$2,652.00

Coated, Bonit (Calcium Phosphate) ingrowth

surface

CR059	Uniglide Cemented Femoral Component	Cobalt Chrome with Titanium Nitride Coating	1-4	$2,096.00

CR060	Uniglide Tibial Insert	UHMWPE	Height 4, 5, 6, 7, 8, 9, 10, 11, 	$578.00

12mm; Size 1-4

CR061	Uniglide Cemented Tibial Component	 Cobalt Chrome with Titanium Nitride 	Sizes 1 - 8 inclusive	$1,732.00

Coating

CR062	Metal Insert for Alpha Cera Fit Cup	Endocast SL	28mm Inner Diameter for 48-74mm 	$1,560.00

Cups

CR063	Ceramic Insert for Alpha Cera Fit Cup	Biolox Forte	28-36mm	$2,496.00

CR064	Ball Heads 12 - 24 Taper (Tin Coated)	Tin Coated (Titanium Nitride)	28mm x Small; 28mm x Medium; 	$1,664.00

28mm x Large; 28mm x XLarge;

28mm x XXLarge; 28mm x

XXXLarge

CR065	Ball Heads 12 - 14 Taper (Alumina)	Alumina Ball Head	>32mm	$2,055.00

CR068	Alpha Cera Fit Hip (Stem) Prostheses 12-14 	Titanium Alloy with Titanium Plasma & 	8mm - 22mm Diameters; 128mm - 	$3,744.00

Taper	Bonit Coating in the Proximal Area	176mm Lengths; Standard and

Proximally Modified

CR070	Alpha Lock Titanium Counter Sunk Screw	Titanium Counter Sunk Screw	Length (mm) 15, 20, 25, 30, 35, 	$140.00

40, 45, 50, 55, 60, 65 & 70

CR071	Alpha Lock Plug Screw; Alpha Lock Locking 	Titanium	One Size Only	$120.00

Screw

CR073	Alpha Lock, (UHMWPE) Inlays	UHMWPE	22-32mm	$822.00

CR074	Alpha Lock Plus Titanium Hip Cup	Titanium hip cup with special pre-closed 	42 - 70mm Diameter	$2,288.00

fixation holes for self-tapping counter sunk

screws, UHMWPE inlay.

Prostheses List by Category and Sponsor	Page 224 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CR075	PE Inserts for Alpha Cera Fit Cups 	(UHMWPE) Ultra High Molecular Weight 	22-28mm Diameter for cup sizes: 	$842.00

(UHMWPE)	Polyethylene	42-74mm

CR076	Oxford Universal Hip System	Proximal femoral stem CoCr	Extra small to Large	$2,433.00

CR077	Oxford Universal Hip System	Proximal femoral stem Cocr -HAP coated	Extra small to Large	$4,368.00

CR078	Oxford Universal Hip Stem	Distal Femoral Stem Cocr Polished	10mm-20mm diameter,120-250mm 	$2,317.00

length

CR079	Oxford Universal Hip System	Distal stem lock nut	One size only	$170.00

CR080	Oxford Universal Hip System	Cement restrictor	22, 26, 28 & 32mm	$207.00

CR081	Oxford Hip System	Cement Wiper	One size only	$180.00

CR083	Oxford Hip System	Distal Stem Revision	300mm 60mm Split, Diameter 12-	$2,317.00

20mm

CR084	Modular Endo Head	CoCr Modular Endo Head	38 - 60mm, short, standard and long	$936.00

necks

CR085	Alpha Cera Fit Hip Cup	Cup is made of High Grade Titanium Alloy 	42, 44, 46, 48, 50, 52, 54, 56, 58, 	$2,288.00

with Bonit coating	60, 62, 64, 66, 68, 70, & 74mm

CR086	Tri-Fit Hip	Titanium stem proximally coated with 	5-20mm	$3,744.00

titanium plasma spray and Hydroxyapartite

CR087	Cormet Dysplasia Cup	High Carbon Cobalt Chrome	48, 52, 56, 60, 64mm	$7,000.00

CR088	Alphalock Constrained Liner	UHMWPE	48 to 70mm outer diameter in 2mm 	$1,030.00

increments

CR089	Alpha Fit Stem	Collared and Collarless Stem with 3 offsets at 	9.5mm, 11mm, 12.5mm, 14mm, 	$4,139.00

43mm, 47mm,& 49mm, Bicoated	15.5mm, 17mm

CR090	Cormet Resurfacing Head Bi Coated	CrCo with titanium plasma spray and HA 	40mm-56mm	$4,056.00

ingrowth surface

CR091	Uniglide All Polyethylene Fixed Tibial 	All polyethylene	Sizes 3, 5 & 7, thicknesses 7mm to 	$1,248.00

Component	13mm

CR097	Alumina Head	Biolox Forte	>32mm	$2,055.00

CR098	Adaptor Sleeve	Titanium	2 Sizes	$165.00

CR099	Acor Anatomic Modular Stem	Anatomic, HA Coated	7 Sizes	$3,060.00

CR100	Integrale Modular Stem	HA Coated	7 Sizes	$3,060.00

CR101	Modular Neck	Titanium, ante/retro, varus/valgus	3 sizes	$1,118.00

CR102	Score Cementless Tibial Component	HAP Coated	7 Sizes	$3,900.00

Prostheses List by Category and Sponsor	Page 225 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

CR103	Score Patella	Resurfacing or inset	6 Diameters	$520.00

CR104	Score Extension Stem	Offset extension Stem	4 diameters, 3 lengths	$2,189.00

CR105	Score Cemented Femoral Component	Cemented	7 sizes	$3,183.00

CR106	Score Cemented Tibial Component	Cemented	7 Sizes	$2,153.00

CR107	Score Cementless Femoral Component	HAP Coated	7 Sizes	$3,640.00

CR108	Score Mobile Bearing Insert	UHMWPE	7 sizes, 5 thicknesses	$1,120.00

Darco Australia Pty Limited

DC001	UPS Plate	Osteotomy Plate - Titanium	12 - 30mm	$450.00

DC002	Lapidus Plate	Arthrodesis Plate - Titanium	Flat, 1 - 6mm step	$510.00

DC003	Calcaneus Plate	Titanium fixation plate	R/L: S, M, L	$1,275.00

DC004	Titanium Screw	Plate locking threaded head	16 - 40mm, diameter 3.5mm	$90.00

DC005	Titanium Screw	Standard head, non threaded	16 - 40mm, diameter 3.5mm	$90.00

DC006	Titanium Screw	Cannulated, self drilling, self tapping	34 - 38mm, diameter 3.5mm	$90.00

DC007	Titanium Screw	Ring washer	-	$45.00

DC008	Titanium Screw	Locking, self tapping	8 - 26mm, diameter 2.7mm	$90.00

DC009	Titanium Screw	Standard	8 - 26mm, diameter 2.7mm	$90.00

DC010	Twist-off	Titanium screw	11 - 15mm, diameter 2.5mm	$286.00

DC011	Twist-off	Titanium screw	11 - 15mm, diameter 2.0mm	$286.00

DC012	BOW Plate	Osteotomy plate, titanium	0 - 7mm	$450.00

DC013	Scarf	Compression screw	10 - 32mm	$286.00

DC014	K Wire	K wire - stainless steel	Diameter 0.9 - 2.0mm	$11.00

DC015	K Wire	K wire - stainless steel threaded	Diameter 1.2 - 2.0mm	$11.00

DC016	K Wire	K wire - titanium threaded	Diameter 1.6 - 2.0mm	$12.00

DC017	Orthner PIA Plate	Fusion Plate - Titanium	Flat, 2 - 8mm step	$450.00

DC018	MPJ Fusion Plate	Titanium	S, M, L	$600.00

DC019	Mini Staple	Titanium - oblique / rectangular	8 - 12mm	$285.00

De Puy Australia

DP001	Reef Hip System	Stem Wings, Titanium alloy	Sizes 1, 2, 3	$1,799.00

DP002	Roseland Thumb	Trap CIM	Small, Large	$1,035.00

Prostheses List by Category and Sponsor	Page 226 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP003	LCS Complete System	Femoral Porocoat	Small - large	$3,850.00

DP004	LCS Complete System	Femoral Cemented	Small - xlarge	$3,288.00

DP005	Reef Hip System	Stem Trochanteric Components, Titanium 	25 or 35mm	$5,264.00

alloy, Collared and Collarless

DP008	LCS Complete System	APG Insert or APG Guide Arm	small - xlarge, sizes 10 - 20mm or 	$1,071.00	$1,286.00

Size 1-7

DP009	Reef Hip System	Stem, Titanium alloy	Dia 10 - 20mm, Length 225 - 375mm	$5,663.00

DP013	Wroblewski Resection Stem	Stainless steel	200mm, 250mm	$3,550.00

DP014	Duraloc Constrained Liner	Constrained liner with titanium alloy ring	28mm or 32mm,  48 - 74mm	$1,836.00

DP015	Roseland Thumb	Meta 1/3 HAC & CIM	Small, Large, Xlarge	$1,792.00

DP017	Roseland Thumb	Trap HAC	Small, Large	$1,028.00

DP020	Global Advantage Shoulder	Eccentric Head, Cobalt chrome alloy	44- 56mm x 18, 21mm	$1,824.50

DP026	LCS Complete System	RP Tibial Insert	Small - large, size 10 - 30mm	$1,157.00

DP029	Global Advantage Shoulder	Revision Stem Titanium alloy	8mm x 200mm - 14mm x 220mm	$4,965.00

DP030	Global Advantage Shoulder	Stem Standard, Titanium alloy	6mm - 16mm	$3,500.00	$4,300.00

DP031	LCS Complete System	MBT Porocoat Keeled or Porocoat Tibial Tray	Sizes 1 - 7	$3,900.00

DP032	LCS Complete System	MBT Cemented Keeled  or Cemented Tibial 	Sizes 1 - 7	$3,023.00

Tray

DP035	LCS Complete System	MBT DuoFix or Universal Tibial Trays HA 	Tibial sizes 1 - 7	$4,108.00

on Porocoat

DP039	Orthosorb Absorbable Pin	Orthosorb K-Wire  - Stainless Steel	L300 D2.0mm Thread Each	$16.50

DP040	Bone Screw	Screw Cancellous Titanium	Dia 3.5 or 5 or 6.5 or 7mm length 	$91.00

15 -110mm

DP042	Chandler Plate	Tibial Osteotomy Plate -Stainless Steel	50-70mm	$1,165.00

DP043	Chandler Plate	Self Tap Screw 4.5mm Length -Stainless steel	60-100mm	$175.00

DP045	Isola System (Stainless Steel)	Double Wire	One size only	$165.50

DP049	VSP System (Titanium)	Washers - Standard / Tapered	3 & 5mm	$63.00

DP051	VSP System (Titanium)	VSP Bone Plate	One - Two Slot	$1,395.00

DP052	VSP System (Titanium)	VSP Bone Plate	Two ½ - Three ½ or Four - Five 	$1,695.00

Slot

Prostheses List by Category and Sponsor	Page 227 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP058	Isola System (Stainless Steel)	Modular Cross Connector Hex Nut	One size only	$47.19

DP072	Isola System (Titanium)	Modular Cross Connector  J-Hooks	1/4 & 3/16"	$478.00

DP073	Isola System (Titanium)	Modular Cross Connector Plates	0 - 70mm	$569.00

DP074	Isola System (Titanium)	Modular Cross Connector Hex Nut	One size only	$57.00

DP075	Isola System (Stainless Steel)	Modular Cross Connector Plates	0 - 70mm	$265.00

DP076	Isola System (Stainless Steel)	Modular Cross Connector J-Hooks	1/4 & 3/16"	$463.00

DP077	Global Advantage Shoulder	Global Advantage Stem STD or Long Chrome	Size 8 to 14 or Length 6-16mm	$3,845.00

DP081	Global Shoulder	Global Advantage HUM HD 	Size 44 - 52 by size  x 15 /18 or 21	$1,525.00

DP086	Global Shoulder 	Global FIN/ Peg  Glenoid	Size 40-56	$2,215.00

DP088	Orthosorb Absorbable Pin	Orthosorb - Polydiaxanone Fixation Pins 	2mm	$298.00

DP089	Orthosorb Absorbable Pin	Orthosorb Pkt3 - Polydiaxanone	40mm x2mm	$372.00

DP090	Orthosorb Absorbable Pin	Orthosorb Pkt 3 - Polydiaxanone	1mm x 40mm x 1.3mm	$734.00

DP091	Orthosorb Absorbable Pin	Orthosorb Pkt 1 - Polydiaxanone	40 x 2.0mm	$736.00

DP092	Orthosorb Absorbable Pin	Orthosorb K Wire  - Stainless Steel Tapered 	1 x 40mm x 1.3mm Pk 3	$206.00

Pins

DP093	Orthosorb Absorbable Pin	Orthosorb -Polydiameterxanone	1.3mm	$164.82

DP094	Orthosorb Absorbable Pin	Orthosorb Pk 2 - Polydiaxanone	40mm x 2.0mm	$291.00

DP095	Orthosorb Absorbable Pin	Orthosorb Arthroscopic Fix-Set - 	1.3MM	$671.00

Polydiaxanone

DP099	Coventry Screw System S/S	Cannulated Screws	7.00 mm dia	$175.00	$521.00

DP102	Coventry Screw system 	Cannulated Screws	4mm and 4.50 mm	$90.00	$270.00

DP105	Coventry Screw system S/S	Standard or Heavy or Extra Heavy Duty Plate	2 -4 or 3- 4 Hole Standard or 130 	$442.00

Deg

DP106	Coventry Screw system S/S	Cancellous Screw	4mm or 4.5mm 16-90mm Length	$275.00

DP107	CMW Bone Cement	CMW Bone Cement Various  without 	20, 40 grams	$174.00

Antibiotic

DP108	CMW Antibiotic Bone Cement 	CMW Bone Cement Various with Antibiotic	20, 40 grams	$184.00

DP112	Duraloc Enduron Liner	Enduron Liner	28 or 32mm +4  size  48-66	$884.00

DP115	Duraloc Enduron Liner	Polythene Liner in Neutral or 10 or 20 Degree 	22.225 or 26 or 28 or  32mm size 	$572.00	$913.00

or +4	48-74

Prostheses List by Category and Sponsor	Page 228 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP119	Solution Implantable Hip System 	Revision Standard & MMA 8 straight or 	6" size 10.5 - 22.5	$3,588.00

bowed Porous coated

DP121	Solution Implantable Hip System 	Revision straight or bowed & Calcar or 10" 	10" size 13.5 - 22.5	$6,576.00

both left and right

DP124	Solution Implantable Hip System 	CoCr Femoral Head Various Tapers & Neck 	22 or 26 or 28 or 32 mm size	$795.00

Lengths

DP127	Biax Wrist	Biax Wrist STD and Long	Small - Large	$3,570.00

DP130	PFC Knee System Range	PFC CK cemented or Modular Tibial Tray	Size 1-6	$2,132.00

DP143	PFC Knee System Range	PFC Flute Tib Rod & Extension 	Size 75-150mm	$1,560.00

DP145	PFC Knee System Range	PFC Sigma PLI or CVD or CS inserts or 	Size 1-6	$859.00

DP148	PFC Knee System Range	PFC Sigma C/R porous 	Size 1-6	$2,740.00

DP149	PFC Knee System Range	PFC Sigma C/S 	Size 1-6	$3,116.00

DP150	PFC Knee System Range	PFC Sigma TC3 Femur 	Size 1-5	$3,068.00	$3,733.00

DP151	PFC Knee System Range	PFC Sigma CVD or PLI  Poly tibial 	Size 1-6	$988.00

DP152	PFC Knee System Range	PFC Sigma Patella or Universal insert patella	Size SM - LG. Or 25-32mm	$483.00

DP153	PFC Knee System Range	PFC Sigma ROD or FC femoral 	Size 5 Deg to 7 Deg	$2,137.00

DP154	PFC Knee System Range	PFC Sigma FEM AUG 	Size 2-5	$1,497.00

DP155	PFC Knee System Range	PFC Sigma Femoral stem / Bolt / Collar	Neutral to +2	$520.00

DP158	PFC Knee System Range	PFC Sigma Femoral Distal or Post Augments 	Size 1-6	$1,507.00

or Combo augments

DP161	PFC Knee System Range	PFC Mod PL TB WDG Types Hemi/ Stp / 	Size 2-5	$1,708.00

Full or Augmented tibial wedges

DP162	PFC Knee System Range	PFC Sigma Knee Duofix insert	Size 1-6	$945.00

DP163	PFC Knee System Range	PFC Sigma Knee Offset Tibial Tray  or 	Size 1-6	$3,900.00

Modular Plus tibial Tray

DP166	PFC Knee System Range	PFC Sigma Knee PR Insert	Size 1-6	$1,120.00

DP167	Thompson Implantable Hip	Thompson stems Ortron	Size 41-54	$615.00

DP168	Austin Moore Hip Prosthesis	Narrow or Standard Ortron	Size 38-54mm	$615.00

DP170	Austin Moore Hip Prosthesis	Ortron	Custom sizes	$615.00

DP171	Hastings HIP	Head	Size 36 - 56	$857.00

Prostheses List by Category and Sponsor	Page 229 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP172	PLAD	Wroblewski Cup  Angle bore Left and Right 	22mm	$718.00

UHMWP

DP173	PLAD	PLAD for cups S/S and Polyethylene	22.225mm, 26mm and 28mm	$718.00

DP175	Charnley Hip System	Orton stems or Tumor or Revision or Other	10" or 12" or 15" stem or Longstem	$3,150.00	$4,244.00

40 or EH40 or FL 40 or Resection,

LG. NK 1& 2, or 1 & 2 EH,

Longstem LG. NK 1 & 2

DP180	Charnley Hip System 	Charnley CDH and Primary Hip range, Ortron,	CDH, SNS 35, STS 35, FL 35, RB	$2,000.00

Standard and Modular	 40 NRW, RB40, RB45, FI 40 &

45, EH 40 & 45.

DP182	Charnley Hip System 	Polythene, OGEE or LPW or FLANGED	22.225 or 28 or 32, 40 to 53mm	$572.00	$886.00

DP188	Thackray Hip System	Acetabular Cup Self centering cup	28mm size 39-65	$1,504.00

DP192	Thackray Hip System	Charnley cement restrictor EA 	One size only	$205.00

Polymethylmethacrylate

DP203	Elite Modular Hip System	Elite CDH and Primary Hip range, Ortron, 	CDH, Size 1-7 standard and size 2-5	$2,000.00

Standard and High offset	 High Offset

DP205	Elite Modular Hip System	Stem Ortron	Custom size	$3,550.00

DP212	Elite Modular Hip System	Elite Plus Stem Revision Ortron	4-8 length 190 - 250mm or STD or 	$3,150.00	$4,244.00

Long Neck

DP222	Thackray Hip System	Poly Liner Custom	Made to order	$1,248.00

DP223	Thackray Hip System	Acetabular Mesh Ortron 90	One size only	$144.00

DP224	Thackray Hip System	Charnley Spring Wires - Stainless Steel	0.5mm to 3.00mm	$349.00

DP232	Suture Wire	Wire Suture Stainless Steel	0.5 to 5mm	$101.00

DP233	Hardinge Cement Restrictor	Hardinge cement Restrictor (ea)	One size only	$202.00

DP235	LCS Knee system	Textured PCR or Rotating Platform or PCR 	Std to Lge ++	$2,153.00

tibial tray Chrome cobalt

DP237	LCS Total Knee System	Femoral Tray Chrome cobalt	Sm+ to Lge++	$3,482.00

DP238	LCS Total Knee System	Meniscal or Rotating Platform Bearings 	10-17.5mm Std to Lge+	$1,157.00

Standard and Deep Dish

Prostheses List by Category and Sponsor	Page 230 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP240	LCS Total Knee system	Cemented Cruciate retention Tibial Chrome 	Std to Lge ++	$2,153.00	This change from gro 3F was decided

cobalt	 in the Nov 06 mtg but it was not

changed by us, it was also discussed

in the April KPCAG mtg where

members agreed it should be changed

to 3m.

DP249	AML Modular Heads	Ceramic Head Various Tapers & Neck Lengths	22 or 26 or 28 or 32 or 36mm	$2,055.00

DP250	Anatomic Medullary Locking System	Locking Rings Titanium	Size 38 - 74	$168.00

DP254	SROM Knee System	Noiles Hinge Femoral Comp	XSml-Lge	$4,880.00

DP255	SROM Knee System	Noiles Replacement Bumper Noiles Modular 	XSml - Medium	$135.00

or Replacement Hinge Bearing

DP257	SROM Knee System	NRH Tibial Plateau size 	XSml - Med	$3,914.00

DP259	SROM Knee System	Noiles Modular Tibial Base	XSml-Xlge	$2,792.00

DP260	SROM Knee System	SROM Noiles Tibial Augments	4-10mm size 2-6	$926.00

DP261	SROM Knee System	Noiles Modular Tibial Sleeve	37-61mm	$2,425.00

DP262	SROM Knee System	Noiles Cap with Screw for Tibial Base	One size only	$313.00

DP264	SROM Knee System	Noiles UHMWPE & Poly Patella 	Size 30-38	$483.00

DP266	SROM Knee System	SROM Noiles Femoral Extension with screws	11 x 100mm to 129 x 100mm	$1,748.00

DP267	SROM Knee System	PLUG Modular Sleeve with Screw	One size only	$126.00

DP268	SROM Knee System	Femoral Component	XSml -Lge	$3,850.00

DP269	SROM Knee System	SROM Noiles Femoral Augmentation Blocks	1-6 4-16mm	$1,393.00

DP270	SROM Knee System	NPS Tibial Plateau 	XSml -Lge	$1,889.00

DP271	SROM Knee System	Noiles Femoral Sleeve Por Coated 	Size 31-46mm	$2,636.00

DP272	SROM Knee System	Noiles Femoral Stem Extn/Screw	Size 9 x 100 to 19  x 150	$1,733.00

DP273	SROM Knee System	PROM Insert Curved & Stabilised (Noiles)	Size 2-5	$967.00

DP277	Stability Hip System	Stem HA or Porocoat Coated	Sm,  Lge,  XLge size 10A - 18B	$5,200.00

DP285	AMK All Poly Tibia	All Poly Tibial tray 	Size  1/2 to 5	$967.00

DP287	AMK Coordinate Revision Knee System	Revision Tibial tray or Full wedge Tray 	Size 1-5	$3,744.00

Chrome cobalt

DP290	AMK Coordinate Revision Knee System	Cemented stem 10mm Chrome cobalt or 	Size 1-6 or 8-27mm Thickness x 	$2,277.00

Fluted stem STD - Revision	95-140mm Length

Prostheses List by Category and Sponsor	Page 231 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP294	AMK Coordinate Revision Knee System	Insert 4 and 10mm Thick Tibial inserts	Size 1-5	$3,744.00

DP296	Cementraliser	Cementraliser 	Size 10 -13	$206.00	$213.00

DP297	Cementraliser Stem Centraliser	Distal Centralisers	10-18mm	$208.00

DP298	Centralisers	Centraliser 	Size 11 - 18	$206.00	$213.00

DP330	Tibial Nail System 	Tibial Nail or Dynamic Tibial Nail Titanium 	8-13mm x 25.5-42.5cm	$1,405.00

Unsterile or Sterile

DP331	Tibial Nail System 	End Cap Titanium 	One size only	$65.00

DP338	Tibial Nail System 	Solid Cortical Titanium Screw Unsterile or 	6.5mm x 20 -120mm	$130.00

Sterile

DP339	Femoral Nail	End Cap Titanium 	One size only	$45.00

DP342	Femoral Nail System	Solid Cortical Screw Titanium Sterile or 	4.5 or 5.5mm x 20-80mm	$64.00

Unsterile

DP343	Femoral Nail System	Femoral Nail Titanium Sterile or Unsterile	9-15mm x 30- 50cm 	$1,740.00

DP351	LCS UNI Knee system	AP GLIDE Tibial Porocoat Chrome cobalt	Size 1-6	$790.00

DP360	Sector Cups	Sector  (Titanium)	Size 48 to 66	$2,435.00

DP361	Solution Deep Profile Cup	Deep Profile Titanium	Size 56 - 80 mm	$2,435.00

DP363	Control Cable	Control Cable sleeve 	One size only	$240.00

DP364	Control Cable with Sleeve	Control Cable with sleeve 	One size only	$350.00

DP366	Supacondylar Nail System	Solid End Cap Titanium Unsterile or Sterile	One size only	$57.22

DP367	Humeral Nail System	Humeral Nail Titanium Sterile or Unsterile	7-9mm x 22cm-30cm	$1,032.00

DP371	Humeral Nail System	End Cap Various Titanium Unsterile or Sterile	One size only	$65.00

DP377	AMK Total Knee system	Poly Patella 	Size 30 - 38mm	$483.00

DP378	AMK Total Knee system	Co ordinate Femoral wedge DIS / Post 	Size 1-5	$618.00

Chrome cobalt

DP380	AMK Total Knee system	Posterior or Congruency stabilised femoral or 	Size 1-5	$3,400.00

STD Femoral post Chrome cobalt

DP381	AMK Total Knee system	Cemented Femoral left and right	Size 1-5	$3,640.00

DP383	AMK Total Knee system	Revision Pin Tibial Chrome cobalt	One size only	$331.00

DP384	AMK Total Knee system	Primary Locking Pin S/S	One size only	$290.00

DP388	AMK Total Knee system	Posterior stabilised or Tibial or Congruency or	Size 1-5	$1,120.00

Constrained insert

Prostheses List by Category and Sponsor	Page 232 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP391	Ace External Fixator	Pin Holder Bolt - Titanium	15mm	$47.22

DP426	Surgical Titanium Mesh System	Mesh - Long/Oval	26 x 33mm x 50 - 90mm	$5,112.00

DP427	Surgical Titanium Mesh System	Mesh - Curved or Long/Oval	14mm  x 130mm or 17 - 22 x 22 - 	$6,072.00

28mm x 50 - 150mm Hgt

DP430	Moss Miami (Stainless Steel)	Washers - slotted, angled	Slotted/Angled or 3-5mm	$248.65

DP436	Surgical Titanium Mesh System	Mesh - Oval or Flat or Long/Round	17-22 x 22-28mm - 10-15mm Hgt 	$4,135.00

or 90mm x 90mm or 10 - 16mm x

30 - 100mm Hgt

DP438	Surgical Titanium Mesh System	Mesh  - Oblong	12 - 13 x 15 -17mm x 10 - 20mm	$6,325.00

DP444	AMK Chrome CobaltTray	Cemented CoCr Keeled tray and Porous 	Size 1-5	$2,132.00

Coated trays

DP445	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with 	50, 80 grams	$500.00

Antibiotic Bone Cement

DP446	VacuMix Pre Loaded CMW Cement	Vaccum Mixing System Pre Loaded with Non 	50, 80 grams	$484.00

- Antibiotic Bone Cement

DP447	Biosel 2	BIOSEL II Dose 5G (Calcium Phosphates)	5g	$695.00

DP448	BIO Stop G	Biostop Restrictor (Gelatin, Glkycerol, 	size 8-20	$205.00

PHBM, Water)

DP509	Brantigan I/F Cage	AETI  (Endoscopic) C/F  Cage	Wedge 7-13mm x 9-15mm x 21-25 	$3,096.00

mm

DP518	LCS Universal Knee	LCS Ultra Femorals Chrome cobalt	Sm - Lge+	$3,674.00

DP519	LCS Universal Knee	LCS Ultra Tibial Chrome cobalt	Std - Lge+	$2,005.00	$2,793.00

DP520	LCS Universal Knee	LCS Ultra Patella	Sm - Lge+	$1,235.00

DP521	LCS Universal Knee	LCS Ultra inserts	Sm - Lge+	$1,157.00

DP523	LCS 3 Pegged Patella	Cemented & Textured or porous coated  3 peg 	Sm - Lge+	$1,352.00

Patella

DP524	LCS 3 Pegged Patella	All Poly & all Poly 3peg Patella 	Std - Lge+	$483.00	$634.00

DP528	Nancy Nail System	Pediatric Flexible Nail	2.5 or 3.0 mm x 190 -290mm	$431.00

DP529	Nancy Nail System	Pediatric Flexible Nail	3.5 mm x  270-350mm	$475.00

DP531	Nancy Nail System	Pediatric Flexible Nail	4.0 mm x  330-450mm	$475.00

DP546	C- Stem 	Standard or High Offset and CDH, Ortron	Size 1-8 standard, Size 1-8 High 	$2,236.00

Offset, CDH and 0A to 3A sizes

Prostheses List by Category and Sponsor	Page 233 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP549	C- Stem 	C-Stem Heads Ortron	Size -3 to +8	$723.00

DP550	C- Stem 	Revision Stem Ortron	Size 4-8 x 200-240 mm length	$3,550.00

DP551	Bantam Shells	Bantam Titanium	Size 38 - 46	$2,435.00

DP552	Bantam Liners	Bantam  Enduron Polyethylene 	10 Degree 22.225 & 26 & 28mm  	$884.00

size 38-46

DP557	Duraloc Cup	Sector or 100 series Polished inner or 	Inner 48 to 66	$2,740.00

polisherd Titanium or  HA

DP558	Duraloc 100  Series Cup	100 series Titanium	Size 48 - 66	$2,096.00

DP561	IPS HIP Titanium Femoral Hip System	Titanium IPS Stem  Left and Right	Size 1 to 7	$5,250.00

DP562	IPS HIP Titanium Femoral Hip System	Revision IPS Stem Titanium	Size 12 - 20	$6,166.00

DP563	Wroblewski Cup	Golf Ball Left and right UHMWP	22mm size 40-53mm	$572.00	$913.00

DP570	AMK Coordinate Revision Knee System	Tibial Ultra or STD Tibial or Varus Valgus 	Size 1-5 or 2-10mm	$1,768.00

Constrained Inserts

DP571	Art Retrograde Nail	Femoral Nail Titanium Unsterile or Sterile	9 -12mm x 30 - 50cm	$1,740.00

DP572	Nancy Nail System 	Pediatric Flexible Nail	2.0 mm x 130mm	$414.00

DP573	Neuflex Finger   	Neuflex MCP implant - Anasil Silicone	Size 0-60	$762.00

DP574	C-Stem Centraliser	Centraliser Polymethylmethacrylate (PMMA)	One size only	$259.00

DP575	C-Stem End Cap	End Cap Biostop Restrictor (Gelatin, Glycerol,	Size 8- 20 	$136.00

PHBM, water)

DP584	PLA Centraliser	Poly Lactic Acid+D108 Centraliser	9-20mm	$313.00

DP590	Compression Hip Screw	6.5mm Solid Lag Screw Stainless Steel 	22mm Thread length 40 to 100mm	$146.00

DP592	Small / Large  Fragment Set	Cannulated Cancellous Lag Screw Titanium	6.8 or 8mm Dia 25-120mm Length 	$214.00

22 or 40mm Thread

DP593	Small / Large  Fragment Set	Cannulated Cancellous Screw 	4mm or 16mm or 32mm Thread, 	$227.00

26-120mm Length

DP597	Small / Large  Fragment Set	Solid Cortical Screw Titanium	3.5 mm 10-48 mm Length	$98.00	$140.00

DP598	Small / Large  Fragment Set	Cannulated Cortical. Bone Screw	3.5 mm length 50-60 mm	$98.00	$175.00

DP605	Small / Large  Fragment Set	Cancellous Lag Screw Titanium	4.8 mm Dia 30mm to 60mm	$132.00

DP608	Small / Large  Fragment Set	Straight Plate Titanium	3-12 Hole	$366.00

DP609	Small / Large  Fragment Set	100 Tube Plate Titanium	3.5mm Dia and 3 to 8 holes	$177.00

DP610	Small / Large  Fragment Set S/S	Femoral Condylar Plate	4-8 Hole   	$475.00

Prostheses List by Category and Sponsor	Page 234 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP611	Small / Large  Fragment Set	Reconstruction T Plate Titanium	4-8 Hole	$475.00

DP612	Small / Large  Fragment Set	Active Compression Plate Titanium	3.5mm  5 to 10 Hole	$192.50

DP613	Small / Large  Fragment Set	Humeral and Radial Plate Titanium Various	Wide - Narrow - Long - Extra Long	$329.00

DP615	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 8 to 10 holes	$534.88

DP617	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 14 holes	$796.00

DP618	Small / Large  Fragment Set	Universal Reconstruction Ribbon Titanium	3.5mm with 3 to 7 holes	$402.00

DP627	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	4mm or 5mm Dia 10-48 mm 	$121.50

DP632	Small / Large  Fragment Set	Solid Cancellous Screw Titanium	5.0mm Length 50 - 80mm	$147.00

DP635	Small / Large  Fragment Set	Solid Cancellous Lag Screw  Partial Thread 	4mm Dia 10-60mm Length	$227.00

Titanium

DP638	Small / Large  Fragment Set	Solid Cancellous Bone Screw Full Thread 	4mm Dia 50-110mm Length	$180.00

Titanium

DP640	Small / Large  Fragment Set	Cancellous Cannulated  Lag Screw Partial 	4mm 10 to 70mm Length	$225.00

Thread

DP643	Small / Large  Fragment Set	Cannulated Cancellous Screw Full Threaded - 	4mm or 7mm x 10 -100mm Length	$186.00

Stainless Steel

DP646	Small / Large  Fragment Set	Washer Titanium - Flat/Cup/Countersink	One size only	$23.00

DP650	Small / Large  Fragment Set S/S	Cortical Screw - Stainless Steel	1.5 or 2 or 2.7 or 3.5mm x 22 - 	$19.00

44mm Length

DP654	Small / Large  Fragment Set S/S	Cortical Screw Diameter - Stainless Steel	3.5 or 4.5 x 12 - 48mm Length	$15.00

DP655	Small / Large  Fragment Set S/S	Cortical Self Tapping Screw	3.5 or 4.5 mm x 8-60 mm Length	$14.00

DP656	Small / Large  Fragment Set S/S	Malleolar Stainless Steel Screw - Stainless 	25 - 70mm	$22.00

Steel

DP657	Small / Large  Fragment Set S/S	Malleolar Cann Cor Stainless Steel Screw - 	25 - 70mm	$118.00

Stainless Steel

DP658	Small / Large  Fragment Set S/S	Cortical Stainless Steel Cannulated Screw - 	3.5 x 8-70 mm	$98.00	$113.36

Stainless Steel

DP660	Small / Large Fragment Set S/S	Cannulated Screw Diameter partially threaded -	Dia 4 x 10-60	$30.00

Stainless Steel

DP662	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	6.5mm x 25-140mm Length	$125.00

DP663	Small / Large Fragment Set S/S	Cannulated Cancellous Screw Part Thread Screw	4mm or 6.5mm x 10- 140mm Length	$131.91

Prostheses List by Category and Sponsor	Page 235 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP664	Small / Large Fragment Set S/S	Cannulated Cancellous Screw 16 or 32 Thread	7mm x 25-140mm Length	$160.00

DP665	Small / Large Fragment Set S/S	CHS Compression Screw - Stainless Steel	Neutral to +2	$34.50

DP668	Small / Large Fragment Set S/S	CHS Lag Screw Stainless Steel Sterile and 	Length 50-145mm	$224.00

Unsterile

DP670	Small / Large Fragment Set S/S	Tronchanteric Support Plate	Small-Large	$503.00

DP672	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile	2-8 Hole 95 to 150 Deg	$348.00

DP673	Small / Large Fragment Set S/S	SCS Plate Sterile	3-9 Hole	$631.00

DP675	Small / Large Fragment Set S/S	Broad Bone Plate Stainless Steel 	3-6 Hole for 1.5mm	$149.00

DP678	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm with 2 - 12 Hole	$98.00

DP683	Small / Large Fragment Set S/S	Cerclage Wire Loop Stainless Steel 	0.8-1.2mm x 280-600	$17.00

DP689	Small / Large Fragment Set S/S	Condylar Plate & Mini Condylar Plate	1.5mm  or 2mm	$177.50

DP692	Small / Large Fragment Set S/S	Cloverleaf Plate Stainless Steel     	3-4 Hole	$204.00

DP693	Small / Large Fragment Set S/S	T-Plate Stainless Steel           	3 up to 8 Hole	$1,700.00

DP695	Small / Large Fragment Set S/S	Y-Plate Stainless Steel           	2 + 2 + 4 or 4 + 4 + 4 Slots	$184.00

DP696	Small / Large Fragment Set S/S	Plates - Mini T or L, Oblique, Straight	2.0mm or 2.7mm with 2-12 Hole	$31.00

DP701	Small / Large Fragment Set S/S	Bored K/Wire Stainless Steel 	2.0-3.0mm x 80/30-200-15	$98.00

DP702	Small / Large Fragment Set S/S	Threaded K/Wire	1.5-2.5mm	$11.45

DP705	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 3-12 Hole	$228.00

DP708	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 14 to 18 Hole	$353.00

DP709	Small / Large Fragment Set S/S	Reconstruction Plate	3.5mm 20-28 Hole	$450.00

DP714	Small / Large Fragment Set S/S	Reconstruction Plate	2.7mm 8-26 Hole	$233.00

DP719	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 3-8 Hole	$209.00

DP723	Small / Large Fragment Set S/S	Reconstruction Plate	4.5 - 6.5mm 9 - 18 Hole	$321.00

DP725	Small / Large Fragment Set S/S	Cortical Screw Diameter	3.5 or 4.5 x 55 - 110mm	$53.00

DP733	Small / Large Fragment Set S/S	Angle Blade Plate DCP Stainless Steel	95 Degrees 14-18 Hole	$580.00

DP734	Small / Large Fragment Set S/S	Angle Blade Plate DCP	95 Degrees 5 - 12 Hole	$417.00

DP735	Small / Large Fragment Set S/S	Angle Blade Plate Stainless Steel	95 Degrees 45mm x 8mm	$317.00

DP737	Small / Large Fragment Set S/S	Angle Blade Plate	90 Degrees 35-50mm x 8-10mm	$354.00

DP739	Small / Large Fragment Set S/S	Angle Blade Plate	90 Degrees 60 to 65 x 10-15mm	$372.00

Prostheses List by Category and Sponsor	Page 236 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP741	Small / Large Fragment Set S/S	Broad DCP Plate	6 to 10 Hole	$161.00

DP744	Small / Large Fragment Set S/S	Broad DCP Plate	11 to 14 Hole	$235.00

DP746	Small / Large Fragment Set S/S	Broad DCP Plate	16 to 17 Hole	$320.00

DP749	Small / Large Fragment Set S/S	Broad DCP Plate	18 to 26 Hole	$347.00

DP753	Small / Large Fragment Set S/S	Blade Plate Stainless Steel	95 Degrees 5-6 Hole	$342.00

DP754	Small / Large Fragment Set S/S	Cannulated Screw Diameter	4mm x 10-60mm Length	$125.00

DP758	Small / Large Fragment Set S/S	Cerclage 	0.8-2.5mm D898	$13.60

DP759	Small / Large Fragment Set S/S	Washer Spiked, Standard, Cancellous, Cortical	One size only	$14.00

& Fastening Wire

DP761	Small / Large Fragment Set S/S	Cancellous Screw	4mm Dia and 10 - 28 Length	$125.00

DP766	Small / Large Fragment Set S/S	Cancellous Screw 32 Thread - Stainless Steel	Dia 6.5mm x 130-140mm	$54.27

DP772	Small / Large Fragment Set S/S	Cancellous Screw	6.5mm x 14-110mm Length	$35.00

DP774	Small / Large Fragment Set S/S	Cancellous Screw 16 or 32 Thread	6.5mm x 25 - 130mm Length	$35.00

DP776	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or 	10 Hole 135-150 Deg	$648.00

Unsterile

DP777	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or 	12 Hole 135-150 Deg 	$685.00

Unsterile

DP778	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or 	12-14 Hole 135-150 Deg	$739.00

Unsterile

DP780	Small / Large Fragment Set S/S	CHS Plate Standard & Short Barrel  Sterile or 	5-14 Hole 135-150 Deg	$545.00

Unsterile

DP784	Small / Large Fragment Set S/S	CHS Plate Stainless Steel	16 Hole 135-150 Deg   	$800.00

DP786	Small / Large Fragment Set S/S	Cortical Screw Self Tapping	3.5 or 4.5 x 30 - 110mm Length	$30.00

DP793	Small / Large Fragment Set S/S	K/Wire Stainless Steel 	0.8 to 3.0 mm x 6-9" or 150-	$7.00

500mm

DP796	Small / Large Fragment Set S/S	Narrow Bone Plate	5-18 Hole	$81.88

DP802	Small / Large Fragment Set S/S	Small or Narrow DCP Plate	2.7mm or 3.5mm 8-16 Hole	$120.00

DP809	Small / Large Fragment Set S/S	K-wire standard	1/8 inch	$30.00

DP810	Small / Large Fragment Set S/S	K-Wire Double Point  each	5/32 inch	$11.00	$31.00

DP812	Small / Large Fragment Set S/S	SCS Plate Sterile	10-12 Hole 95 Degrees	$747.00

DP813	Small / Large Fragment Set S/S	SCS Plate Sterile	14-16 Hole 95 Degrees	$788.00

Prostheses List by Category and Sponsor	Page 237 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP814	Small / Large Fragment Set S/S	Threaded Steinmann Pin	0.5-3mm	$30.00

DP820	Small / Large Fragment Set S/S	Cortical Screw Diameter	3.5 or 4.5 x 45 -100mm	$23.00

DP821	LCS Revision Knee system	Revision Femoral Chrome cobalt	STD - LGE+	$6,132.00

DP822	LCS Revision Knee system	Revision tibial Tray Chrome cobalt	STD- LGE+	$3,952.00

DP823	LCS Revision Knee system	Stem Extension Chrome cobalt	10 x 55mm to 22x110mm	$2,292.00

DP824	LCS Revision Knee system	LCS DIST or Post or BLK Femoral 	SM-LGE+	$666.00

Augments Chrome cobalt

DP825	LCS Revision Knee system	LCS Revision Bearings	SML+ to LGE++ 10m-25mm in 	$1,726.00

each size

DP826	LCS Revision Knee system	Revision Textured Tibial Tray Chrome cobalt	Size 1-7	$3,856.00

DP827	LCS Revision Knee system	Revision Textured femoral Chrome cobalt	Size SM - LG+	$3,640.00

DP835	Peak Channelled Plate System	Channel Plate	2 - 8 Segment	$1,200.00

DP836	Peak Channelled Plate System	Channel Plate Locking Washer	9 x 13mm	$162.00

DP837	Peak Channelled Plate System	Cortical Bone Screw	3.5mm	$70.00	$118.00

DP854	Songer Cable System - Titanium	Flex Bar - Large/Small or Flanged Crimp 2 	35mm/30mm	$159.00	$222.45

Hole Bar /Flat Bar (Pk 2)

DP858	Songer Cable System  - Stainless Steel	Flanged Crimp/Flat Bar (Pk2) or 2 Hole Bar 	One size only	$185.00

(Pk 2)

DP859	Songer Cable System  - Stainless Steel	Isola Single Cable & Crimp (Pkt 6)	One size only	$2,005.00

DP860	Songer Cable System  - Stainless Steel	Double Loop Cable with 2 Crimps	One size only	$660.00

DP862	Songer Cable System  - Titanium	Double Loop Cable with 2 Crimps	One size only	$682.00

DP864	Songer Cable System  - Titanium	Isola Single Cable & Crimp (Pkt 6)	One size only	$3,260.00

DP868	Barouk Screw System	Barouk Screw - Titanium	10-34mm Length	$210.00

DP869	Bridge Plates	Bridge P.F.P. Femoral  / Humeral	90 and 140-170mm	$1,112.00

DP871	Agility Ankle System	Agility Ankle Talar	Size 1 - 6	$2,679.00

DP872	Charnley Centraliser	Charnley Centraliser  EA 	Size 1 and 2	$212.00

Polymethylmethacrylate

DP878	Barouk System Staples	Varisation Staple  Stainless Steel	26-90Deg x 8-10mm	$193.00

DP879	Barouk System Staples	Memory Staple - Titanium Alloy	13-20mm Long	$710.00

DP880	Barouk System Staples	TIFLEX Staple  / Pin -  Titanium	1.6 - 2.5 Dia 7-24mm width 13/15-	$217.00

36/50mm Length

Prostheses List by Category and Sponsor	Page 238 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP882	Twistoff Screw	TwistOff Screw Titanium	11-14mm Long	$320.00

DP883	Barouk SCR Sys Staples and Buttons	Barouk Screw System Button Prosthesis - SS 	8-20mm	$307.00

or Ceramic

DP884	Streamline Centraliser	-	Size 11-16	$207.00

DP888	Calcaneal Periarticular Plate	Calcaneal Periarticular Plate - Titanium	Extra small to Ex Large	$530.00

DP889	AMK Chrome CobaltTray	Cobalt Chrome Tibial TEX  or TX FX Tray	Size 1-5	$2,132.00

DP891	AMK Chrome CobaltTray	Duofix Cobalt Chrome tibial Tray HA coated 	Size 1-5	$2,652.00	$4,016.00

DP892	Rockwood Clavical Pin	Rockwood Clavicle Pin + Nut S/S	2.5 to 4.5mm	$243.00

DP893	Rockwood Clavical Pin	Nut Clavical Pin S/S	2.5 to 4.5mm	$135.00

DP894	Rockwood Shoulder Screw	Rockwood Shoulder Screw  S/S	One size only	$231.00

DP895	Rockwood Shoulder Screw	Rockwood Shoulder washer  S/S	One size only	$45.73

DP896	AC Percu Screw	AC Percu screw S/S	Size 32-52mm	$236.00

DP897	AC Percu Screw	AC Percu Screw Washer S/S	One size only	$47.00

DP898	S-Fit Metal Glenoid	S-FIT Glenoid Bearing 	Size 40-52	$1,040.00

DP899	S-Fit Metal Glenoid	S-FIT M/B Glenoid 	Size 40-52	$2,920.00

DP900	Albizza Nail	Albizza Nail - Stainless Steel	240-320mm Length	$10,692.00

DP901	Albizza Nail	Albizza Nail Cotter Screw	3.5 or 4.5 0r 5.5 mm 25-75 mm 	$95.00

length

DP904	Periarticular Plating System	Plate Calcaneal  - Titanium	Small - Large	$528.00

DP905	Periarticular Plating System	Fibula Composite Plate - Titanium  	5 Hole	$317.00

DP906	Periarticular Plating System	Medial Pilon Plate - Titanium 	3 Hole	$340.00

DP907	Periarticular Plating System	Meta Plate - Titanium	Sm - Lge  3 Hole	$340.00

DP908	Periarticular Plating System	Periarticular Pilon Plate  - Titanium	4 to 10 hole	$386.00

DP909	Periarticular Plating System	SPIDER Plate.(2p/p) Titanium	Sm	$204.00

DP910	Periarticular Plating System	SPIDER Plate (2p/p) and offset Titanium	Lg	$204.00

DP911	Periarticular Plating System	Meta Plate - Titanium      	Sm -Lge  5 Hole   	$338.00

DP912	Periarticular Plating System	Fibula Composite Plate - Titanium  	11 Hole 	$397.00

DP913	Periarticular Plating System	Fibula Composite Plate - Titanium  	7 Hole 	$360.00

DP914	Periarticular Plating System	Fibula Composite Plate - Titanium  	9 Hole 	$383.00

DP915	Periarticular Plating System	Medial Pilon Plate - Titanium	5 Hole 	$346.00

Prostheses List by Category and Sponsor	Page 239 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP916	Periarticular Plating System	Medial Pilon Plate - Titanium	7 Hole 	$381.00

DP917	Periarticular Plating System	Periarticular Spider Washer - Titanium	One size only	$193.00

DP921	DOC Ventral Stabilisation System	Outer Bone Screw	4.0mm x 12-16mm	$195.00

DP922	DOC Ventral Stabilisation System	Inner Bone Screw	12 - 16mm	$225.00

DP923	DOC Ventral Stabilisation System	Platform - Straight Non Locking Screw	3.5 - 4mm	$225.00

DP924	DOC Ventral Stabilisation System	Platform - Angled Screw 20Deg Lockable	3.5 - 4mm	$417.00

DP927	DOC Ventral Stabilisation System	Assembly - Various single or two or three 	30-110mm	$1,470.00

level

DP928	DOC Ventral Stabilisation System	Platform/Cross Connector Locking Screw or 	3.5 - 4mm	$180.00

Graft Screw

DP929	Supacondylar Nail System	Supracondylar Titanium Nail Sterile or 	10 to 12 mm x 15-30cm	$1,210.00

Unsterile

DP931	Small / Large Fragment Set S/S	Solid Cortical Screw Titanium	6.5mm x 40 - 100mm	$116.00

DP943	Corail Hip System	Titanium Stem collar or collarless or Coxa 	Size K6 to K20 or in lengths 110 -	$4,420.00

Vara or High offset	190mm

DP944	Octopus Cup System	Screw 	6.5mm Diameter length 15-65mm	$127.00

DP945	Octopus Cup System	Cup 	Size 50, 55mm	$1,426.00

DP946	Octopus Cup System	Hooded Liner 	22.2, 28 and 32mm Size 55, 50	$695.00

DP947	Octopus Cup System	Reorientation Liner	22.2, 28 and 32mm Size 50-55mm	$697.00

DP948	Octopus Cup System	Ring Right and Left 	Size 50-55mm	$889.00

DP949	Octopus Cup System	Ring Long left and right 	Size 50-55mm	$889.00

DP950	Delta Shoulder system	Standard Metaglene  INOX/ ST. Steel + 	One size only	$2,100.00

Aluminia+HAC

DP951	Delta Shoulder system	Revision Metaglene INOX/ ST. Steel + 	One size only	$2,508.00

Aluminia+HAC

DP952	Delta Shoulder system	Centror Glenoid INOX / ST.Steel / 	Size 36-40 /42	$2,290.00

Nichtrostender St.

DP954	Delta Shoulder system	Metaglene Screw Stainless Steel	3.5mm and 4.5mm	$213.00

DP956	Delta Shoulder system	Cementless Diaphysis INOX/ ST. Steel + 	Size 1-4	$3,875.00

Aluminia+HAC

DP957	Delta Shoulder system	Cemented Epiphysis INOX/ ST. Steel + 	Size 1-4 in 26-42mm	$2,436.00

Aluminia+HAC

Prostheses List by Category and Sponsor	Page 240 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP958	Delta Shoulder system	Humeral Cup Laterilised Polyethylene	36-42mm in  +0 to +6 /STD / LAT	$815.00

/STD Retentive

DP962	Delta Shoulder system	DELTA Humeral Head INOX / ST.Steel / 	36 - 42 mm in +0-+4	$1,200.00

Nichtrostender St.

DP964	Delta Shoulder system	Humeral Spacer INOX / ST.Steel / 	Dia 36/42 + 9	$1,420.00

Nichtrostender St.

DP965	Delta Shoulder system	Revision Cementless Diaphysis INOX / ST. 	Size 1-4	$3,818.00

Steel + Aluminia+HAC

DP966	Global FX Shoulder	Global FX Stem Chrome	6-12mm and STD and revision 160-	$3,969.00

220mm length

DP968	SROM Total Hip System	UHMWPE or Polythene Liner	22 or 26 or 28 or 32mm size M28 - 	$613.00	$1,289.00

XL 46mm

DP969	SROM Total Hip System	UHMWPE Constrained 	0Deg, 10 Deg, 28mm, 32mm,	$1,481.00

DP975	SROM Total Hip System (Titanium)	Obolong Ace both left and right  	28mm & 32mm size 51+E15N - 	$8,840.00

66+E15N

DP976	SROM Total Hip System (Titanium)	Locking Pin Acetabular 	5.0mm	$158.00

DP977	SROM Total Hip System (Titanium)	XX-Long, 36 x +21CR or +4 or +8 or right, 	16 x 11 x 300  up to 24 x 19 x 325	$7,592.00

left or neutral in 11/13 or 14/14 Taper

DP978	SROM Total Hip System (Titanium)	X-Long 36 or +21CR or +4L or +8L in left, 	16 x 11 x 240 up to 24 x 19 x 275	$6,971.00

right or neutral or 11/13 or 12/14 Taper

DP979	SROM Total Hip System (Titanium)	Long NK26 or 36 x +21CR or +4L or +8L or 	14 x 9 x 205 up to 24 x 19 x 230	$6,381.00

left right or neutral or 11/13 or 12/14 Taper

DP980	SROM Total Hip System (Titanium)	Stem	STD 14 x 09 x 130 NK36mm to 24	$4,605.00

x 19 x 175 NK42mm

DP981	SROM Total Hip System (Titanium)	ZT/HA 	Small / Large /XX Large  size 14B-	$2,860.00

24F

DP982	SROM Total Hip System (Titanium)	ZTT Cone 	Small / Large / XX large size 14B-	$2,860.00

24F

DP983	SROM Total Hip System (Titanium)	ZTT 	OS/ Under Size SM-XXLG size 	$2,860.00

14B-24F

DP984	SROM Total Hip System (Titanium)	Standard NK30 or 36 or 42 or 21CR or 11/13 	14  x 9 x 130mm to 24 x 19 x 	$4,605.00

or 12/14 Taper	175mm

DP986	SROM Total Hip System (Titanium)	Trochanteric Washer 	40 x 31, 60 x 45, 70 x 54	$566.00

DP988	SROM Total Hip System (Titanium)	Unipolar 	38-66mm	$988.00

Prostheses List by Category and Sponsor	Page 241 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DP998	SROM Total Hip System (Titanium)	Acetabular Apical Hole Plug       	One size only	$126.80

DP999	SROM Total Hip System (Titanium)	Unipolar Adaptor Sleeve	+10	$165.00	$624.00

DY007	SROM Total Hip System (Titanium)	STD or Long or X-Long or XX-Long NK26 or	26 x 21 x 175 or 230 or 275 or 	$8,528.00

36 x +21CR or +4L or +8L left, right or 	325mm length

neutral in 11/13 or 12/14 Taper

DY010	SROM Total Hip System (Titanium)	ZTT1 & 2 or arthropor 1& 2 or Super Cup or 	39 - 72 mm	$2,435.00

Gripper

DY018	SROM Total Hip System (Titanium)	Special Stem with either 230 to 325 in Left 	12 x 06 x 155mm NK30, 14 x 09 x 	$7,592.00

right Neutral or 11/13 or 12/14 Taper	205mm  NK36

DY020	SROM Total Hip System (Titanium)	Trochanteric Screw	42mm, 52mm, 62mm	$583.00

DY021	Ultima Total Hip System	Ultima Metal on metal, Titanium 	Size Std 28mm 0D and Avg 28mm 	$2,288.00

10D

DY022	Ultima Total Hip System	Ultima Metal on metal shell with 3 hole   	Size 48-68	$2,354.00

Titanium

DY026	Elite Hemi Head	Elite Plus Hemi Head 	42 - 60 mm	$988.00

DY031	Option Cup system 	Option Ha 	46-66 mm	$2,900.00

DY032	Option Cup system 	Liner LPW  or STD	38-80 mm	$884.00

DY034	Option Cup system Liner 	Option Ceramic 	46-66 mm	$2,558.00

DY036	Duraloc Marathon Acetabular Liner	Marathon  Polyetholene Neutral or 10 Degree	28 or 32 mm size 48 - 66	$1,160.00

DY064	Protrusio Cage	Left and right Cobalt Chrome/Titanium	Size 52OD X 49ID,  56OD X 53ID,	$889.00

60OD X 57ID

DY074	Codman Anterior Cervical Plate System	Cancellous Bone Screw - Standard/Self 	10 - 26mm	$310.00

Tapping/Variable Depth

DY077	Apex Hole eliminator 	Hole eliminator screw Titanium	One size only	$266.00

DY082	Agility Ankle System	Agility Ankle Tibial Shell Right and Left	Size 1-6	$1,724.00

DY083	Agility Ankle System	Agility Ankle Tibial Insert and +2	Size 1-6	$660.00

DY084	A-BSM Bone Cement	2.5g	$1,914.00

DY085	A-BSM Bone Cement	5.0g	$2,670.00

DY086	A-BSM Bone Cement	10.0g	$3,833.00

DY087	Surgical Titanium Mesh System	End Plate or Screws or End Cap (Round / 	17-22mm x 22-33mm	$243.00

Oblong / Trapezoidal)

DY088	Surgical Titanium Mesh System	Rings (Standard and Angled)	17-26mm x 22-33mm	$1,362.00

Prostheses List by Category and Sponsor	Page 242 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY096	DOC Ventral Stabilization System	Graft Platform or Cross Connector	One size only	$186.00

DY097	Vetebrplastic Cement	One size only	$213.00

DY098	Moss Miami  (Titanium)	Pin Nut	One size only	$826.00

DY111	LCS Patellofemoral Joint Prosthesis	LCS PFJ Trochlear Components Right and 	Small - Large	$2,969.00

Left

DY112	Preservation Miu Knee System	MIU Cemented Femoral	Size 1-5	$2,041.00

DY113	Preservation Miu Knee System	MIU Porous Femoral	Size 1-5	$2,194.00

DY114	Preservation Miu Knee System	MIU All Poly Tibials RM/LL and LM/RL	1, 7mm - 5, 11.5mm	$1,248.00

DY115	Preservation Miu Knee System	MIU Fixed or Mobile Bearing Inserts RM/LL 	1, 9.5mm - 5, 13.5mm	$680.00	$895.00

and LM/RL

DY117	Preservation Miu Knee System	MIU Fixed or mobile Tibial Tray Cemented  	Size 1-5	$1,611.00

RM/LL and LM/RL

DY118	Preservation Miu Knee System	MIU Fixed Tibial Tray Porous or Mobile  	Size 1-5	$1,491.00

RM/LL and LM/RL

DY123	VSP System (Stainless Steel)	VSP Bone Plate	One-Two Slot	$1,600.00

DY124	VSP System (Stainless Steel)	VSP Bone Plate	Two 1/2-Three 1/2 Slot	$1,645.00

DY125	VSP System (Stainless Steel)	VSP Bone Plate	Four-Five Slot	$1,785.00

DY127	VSP System (Stainless Steel)	Washers - Standard / Tapered	3 & 5mm	$66.00

DY129	Global Advantage CTA Head	44 x 18 - 56 x 23	$5,495.00

DY131	Small / Large  Fragment Set	Low Profile Cannulated Cancellous Screw, 	4mm x 10mm - 48mm Length	$225.00	$367.42

Partially Thread

DY132	Corail Hip System	Kar Femoral Stem	Size 12 - 20	$5,512.00

DY134	Summit Hip System	Summit Femoral Stem DUOFIX Coated, 	Size 1-10	$5,338.00

Standard or High Offset

DY135	Barouk Screws	2.5mm x 10-22mm	$287.80

DY136	Restore Orthobiologic Soft Tissue Implant	Restore Patch	One size only	$5,935.00

DY137	Acclaim Elbow	Humeral Stem, Std/Lge	100-200mm	$7,185.00

DY138	Acclaim Elbow	Ulnar Stem, Std/Lge-Left/Right	60-85mm	$1,300.00

DY139	Acclaim Elbow	Humeral Bobbin	One size only	$2,565.00

DY140	Acclaim Elbow	Linked Ulnar Metal Bearing or Polyethylene 	One size only	$555.00

Yoke

Prostheses List by Category and Sponsor	Page 243 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY142	Acclaim Elbow	Pin Assembly  or Pin or Poly sleeve  or 	One size only	$332.00

Unlinked Poly Ulnar

DY146	Acclaim Elbow	Linked Ulnar Bearing Screw	One size only	$230.00

DY147	C-Stem End Cap	One size only	$137.00

DY148	LCS Complete Revision System	LCS Complete Revision Femoral Cemented 	Small - Large	$5,278.00

Right and Left

DY149	LCS Complete Revision System	LCS Complete Revision Femoral Porocoat 	Small - Large	$5,719.00

Right and Left

DY151	LCS Complete Revision System	MBT Revision Trays Cemented or porocoat	1 - 7	$3,630.00

DY153	LCS Complete Revision System	LCS Complete Revision Femoral Distal  or 	Small 5mm - Large + 15mm	$1,664.00

Posterior Augments

DY156	LCS Complete Revision System	LCS Complete PFC Sigma Revision Femoral 	20 - 46mm	$2,704.00

Sleeves Porocoat

DY157	LCS Complete Revision System	MBT Revision Tibial Sleeve Porous Coated	37 - 61mm	$2,704.00

DY158	LCS Complete Revision System	LCS Complete Revision Insert	Small 10mm - large + 30mm	$1,201.00

DY159	LCS Complete Revision System	MBT Step Wedge or revision Tibial Augment	1, 5mm - 7, 15mm	$1,430.00

DY160	Ultima Monk Bi-Articular Head	42 - 56mm	$811.00

DY161	Unirom Total Hip System Femoral Stem	Stem Taper 11/13	11-17 mm or 16B sml to 22F  XXL	$4,420.00

DY162	Fragment Set Small/Large	Low Profile Cannulated Cancellous Screw, 	4mm x 50 - 75mm	$250.00	$441.00

Partially Thread

DY164	Small / Large Fragment Set	Low Profile Cannulated Cancellous Screw, 	4mm x 10 - 50mm Length	$182.85

Fully Thread

DY165	Fragment Set Small/Large	Low Profile Cannulated Cancellous Screw, 	4mm x 55 - 75mm	$225.00

Fully Thread

DY167	G2 Hip System	G2 Stem Cemented	1 - 11L	$2,080.00

DY168	G2 Hip System	Distal Centraliser	1 - 11	$409.00	$420.00

DY169	Ultima Acetabular Ring	Ultima Acetabular Ring	40 - 62mm	$1,301.00

DY187	Limb Preservation System	Proximal Femoral Body Component 	Neutral in Std, Trochanter body	$6,990.00

Left/Right

DY188	Limb Preservation System	Distal Femoral Replacement Component 	Extra small	$15,300.00

Left/Right

DY189	Limb Preservation System	2cm LPS Femoral Stem Cemented (Bowed)	11 mm diameter x 150 mm length - 	$7,230.00

17 mm diameter x 200 mm length

Prostheses List by Category and Sponsor	Page 244 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY190	Limb Preservation System	2cm LPS Femoral Stem Porous Coated 	12.5 mm diameter x 150 mm length	$7,220.00

(Bowed)	 - 18.5 mm diameter x 200 mm

length

DY191	Limb Preservation System	Total Femoral Segment Component 	55 mm	$1,700.00

(Male/Male)

DY192	Limb Preservation System	Segmental Component (Male/Female)	25 to 65mm Length	$1,825.00

DY193	Limb Preservation System	Standard Cemented Stem (straight)	9 mm diameter x 100 mm length - 	$4,550.00

17 mm diameter x 125 mm length

DY194	Limb Preservation System	Standard Porous Stem (straight)	10.5 mm diameter x 100 mm length	$4,875.00

- 18.5 mm diameter x 125 mm

length

DY195	Limb Preservation System	Tibial Replacement Component	X-Sm - Med	$8,645.00

DY196	Limb Preservation System	Tibial Hinge Insert	X-Sm 12mm height - Med 31 mm 	$7,288.00

height

DY210	Pinnacle Acetabular Cup System	Pinnacle Marathon Liner  + 4 or Neutral or 10 	38 - 80 mm x 22.225 or 26 or 28 or	$1,160.00

Degree or Lipped	 32 or 36mm

DY211	Pinnacle Acetabular Cup System	Pinnacle Metal  or Ceramic Insert Neutral	48 - 80 mm  22.225 or 28 or 32 or 	$2,558.00

36 mm

DY215	Pinnacle Cup/Liners	CoCr "M" Femoral Heads Various Tapers and 	28 or 36 mm	$2,354.00

Neck Lengths

DY217	Limb Preservation System	Intercalary Segment Component (Male/Female)	55mm	$7,288.00

DY218	Ace External Fixator	Olive wire - stainless steel	1.5-1.8mm	$856.00

DY219	Ace External Fixator	Wire bayonet point - titanium	1.5mm	$82.00

DY220	Ace External Fixator	Olive wire bayonet point - stainless steel, 	1.5 or 1.8mm	$260.00

packet of 3

DY221	Ace External Fixator	Wire bayonet point - stainless steel	1.8mm	$41.00

DY223	Ace External Fixator	Ring, aluminium	1/3 ring small 6" diameter	$376.00

DY225	Ace External Fixator	Ring, composite	1/3 ring large	$446.00

DY226	Ace External Fixator	Ring, composite	1/3 ring medium	$423.00

DY227	Ace External Fixator	Ring, composite	1/3 ring small	$394.00

DY228	Ace External Fixator	Threaded Rod, titanium	1/4" x 10cm	$122.75

DY229	Ace External Fixator	Threaded Rod, titanium	1/4" x 15cm	$164.00

Prostheses List by Category and Sponsor	Page 245 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY230	Ace External Fixator	Threaded Rod, titanium	1/4" x 20cm	$210.00

DY231	Ace External Fixator	Threaded Rod, titanium	1/4" x 25cm	$258.00

DY234	Ace External Fixator	Titanium half pin thread	15-80mm, 155 x 5mm to 220 x 5mm	$117.00

DY236	Ace External Fixator	Spacer with bolt, titanium	2.5-5mm	$22.00

DY237	Ace External Fixator	Ring, aluminium	2/3 ring, large 10" diameter	$908.00

DY238	Ace External Fixator	Ring, composite	2/3 ring, medium	$908.00

DY240	Ace External Fixator	Ring, aluminium	2/3 ring, small 6" diameter	$411.00

DY241	Ace External Fixator	Ring, composite	2/3 ring, small	$463.00

DY242	Ace External Fixator	Stainless steel transfix pin	250/300 x 5mm with 40-70mm 	$263.00

thread

DY243	Ace External Fixator	Titanium Transfix Pin	250/300 x 5mm with 40-70mm 	$167.00

thread

DY244	Ace External Fixator	GRUB screw ACE/FISCHER, titanium	5mm	$2.00

DY245	Ace External Fixator	TIP CapS, polyethylene	5mm	$6.00

DY246	Ace External Fixator	Peg, titanium	5mm	$81.00

DY248	Ace External Fixator	Adaptor rod, titanium	8mm	$180.00

DY249	Ace External Fixator	Pin holder adaptor, aluminium	90"	$311.00

DY251	Ace External Fixator	Anchor assembly, titanium	One size only	$308.00

DY252	Ace External Fixator	Articulation, titanium	One size only	$904.00

DY253	Ace External Fixator	Bolt clevis, titanium	One size only	$29.00

DY256	Ace External Fixator	Locking nut, titanium	One size only	$36.00

DY257	Ace External Fixator	Nut, stainless steel	One size only	$81.00

DY258	Ace External Fixator	Position pins I/C foot plate, titanium	One size only	$105.00

DY259	Ace External Fixator	Ring adapter bolt, titanium	One size only	$46.50

DY260	Ace External Fixator	Ring connector, titanium	One size only	$199.00

DY262	Ace External Fixator	Spherical nut and washer, titanium	One size only	$214.00

DY263	Ace External Fixator	U rings, aluminium	One size only	$736.00

DY264	Ace External Fixator	Universal joint, titanium	One size only	$360.00

DY266	Ace External Fixator	Wire bolt hinge, titanium	One size only	$435.00

Prostheses List by Category and Sponsor	Page 246 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY267	Ace External Fixator	Wire fixation bolt, cannulated or slotted 	One size only	$188.00

(stainless steel)

DY268	Ace External Fixator	Connecting rod, aluminium	X-Short, short, medium or long	$690.00	$1,062.00

DY270	Ace External Fixator	External fixator, aluminium	One size only	$1,030.00

DY271	Ace External Fixator	Ring adaptor, titanium	One size only	$209.00

DY272	Clavicle Pin (Sterile)	Clavicle pin assembly	2.5-4.5mm	$358.00

DY273	Global FX Porocoat	FX PC Stem Standard / Long	6-12mm	$3,500.00	$4,297.98

DY278	Pinnacle Acetabular Cup System	Pinnacle 100 or 300 or Sector or 1200, STD 	38-80mm	$3,276.00

or HA Acetabular Cup

DY280	Pinnacle Acetabular Cup System	Pinnacle GVF +4 or Neutral or 10 Degree or 	38-80mm x 22.225 or 26 or 28 or 	$884.00

Lipped Liners	32 or 36mm

DY288	Acclaim Elbow	Unconstrained Ulnar Poly Bearing	15mm	$230.00

DY294	Bremer Halo Crown System	Aluminium Crown & Vest	Standard & 3D	$3,035.00

DY295	Bremer Halo Crown System	Titanium Skull Pins	Standard & Hi-Fix	$451.00

DY305	VSP System (Titanium)	Sacral Connector - Left & Right Offset	One size only	$644.00

DY323	Ace Trochanteric Nail	Trochanteric Lag Screw Sterile	60 to 120mm	$255.80

DY324	Ace Trochanteric Nail	Trochanteric Anti Rotation Screw Sterile	60 to 100mm	$96.00

DY325	Ace Trochanteric Nail	Trochanteric End Cap Sterile	5 to 25mm	$161.00

DY326	Ace Trochanteric Nail	Trochanteric Nails Sterile in Standard or Left 	320 x 11 x 130 up to 420 x 13 x 	$1,735.00

or Right	130 or 125 to 140 Deg from 9 to

13mm dia

DY328	ASR Hip System	Acetabular Cup	38.5-64.5mm	$5,084.00

DY329	ASR Hip System	Large Modular Head Adaptor / Sleeve	9/10 or 11/13 or 12/14 taper	$1,152.00	Taper insert for DY330

DY330	ASR Hip System	Large Modular Head	38.5-64.5mm	$3,432.00	Used with DY329

DY331	ASR Hip System	Resurfacing Femoral Head	38.5-64.5mm	$3,307.00

DY353	Conduit TCP	Bone matrix implant	10cc	$1,980.00

DY354	Conduit TCP	Bone matrix implant	15cc	$2,390.00

DY355	Conduit TCP	Bone matrix implant	30cc	$3,340.00

DY360	Global Advantage Shoulder	Anchor Peg Glenoid	40 to 56 mm	$2,770.00

DY361	Conduit TCP	Conduit Blocks	Size 1.  15x15x20mm to 	$1,882.00

25x25x20mm

Prostheses List by Category and Sponsor	Page 247 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY362	Conduit TCP	Conduit Cylinder	H8-14 x D16-20mm	$1,957.00

DY363	Conduit TCP	Conduit Wedge	H6-18 x D15 x L15	$2,195.00

DY364	Conduit TCP	Conduit	20cc	$2,150.00

DY367	PFC Knee System Range	PFC Sigma RP TC3	Size 1.5 to 5 thickness of 15.5 to 	$842.00	$1,826.00

30mm

DY368	LCS Complete System	Modular Femur Cemented CoCr	Sml to Lg + Left and Right	$7,425.00

DY369	LCS Complete System	Tibial Inserts	Small to Large + thickness 10-	$1,157.00

25mm

DY370	LCS Complete System	MBT DuoFix CoCr or Universal Tibial Trays	1-6	$4,108.00

HA on Porocoat

DY371	LCS Complete System	PS Femur CoCr Cemented TiNi	Sml to Lge Plus Left and Right	$5,189.00

DY372	LCS Complete System	PS Tibial Insert - Mobile	Sml to Lge Plus 10-25mm	$1,120.00

DY373	LCS Complete System	Femoral Porocoat TiNi	Small - Large Plus Left and Right	$4,190.00

DY374	LCS Complete System	Femoral Cemented TiNi	Small - Large Plus Left and Right	$5,189.00

DY375	LCS Complete System	APG Insert or APG Guide Arm TiNi	Aml - Xlrge, sizes 10-20mm or Size	$1,157.00

1-7

DY376	LCS Complete System	RP Tibial Insert for TiNi	Small - Large + from thickness 10-	$1,157.00

25mm

DY377	LCS Complete System	MBT Porocoat Keeled or Porocoat Tibial 	1-6	$3,900.00

TiNi

DY378	LCS Complete System	Cemented Keeled or Cemented Tibial Tray 	1-6	$2,132.00

TiNi

DY379	LCS Complete System	MBT DuoFix or Universal Tibial Trays HA 	1-6	$4,108.00

on Porocoat TiNi

DY380	Versa Nail	TTC Fusion Nail Sterile	10mm x 15cm up to 12mm x 25cm	$1,245.00

DY381	Versa Nail	TTC Fusion Nail Unsterile	10mm x 15cm up to 12mm x 30cm	$1,110.00

DY382	Versa Nail	TTC Nail Cap Unsterile Impinging and Non 	One Size	$45.00	$99.00

Impinging

DY383	Versa Nail	TTC Nail Cap Sterile Impinging and Non 	One Size	$45.00	$150.00

Impinging

DY386	Hoffman Wrist Kit	Hoffman Sterile Wrist Kit	One size only	$1,565.00

DY400	Neuflex Finger	Neuflex PIP	1 to 20	$770.00

Prostheses List by Category and Sponsor	Page 248 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY402	ASR Hip System	Modular Cathcart Unipolar Head	41 to 60mm	$913.00

DY403	Modular Cathcart Unipolar Spacers	-3 to +10mm	$1,035.00

DY404	RPF Cemented Femur	Size 1 to 6	$3,116.00

DY405	RPF PS Tibial Inserts	Size 1 to 6 from 10 to 17.5mm	$1,120.00	$1,611.00

DY408	Agility Ankle System	Mobile Bearing	1-6 from 3-11mm	$925.00

DY409	Agility Ankle System	Wide Ankle Talus	1 to 6	$3,675.00

DY410	Hand and Foot Fracture Systems	FRST wist off screw	11 to 14mm	$309.00	$380.00

DY411	Hand and Foot Fracture Systems	FRSStandard Staple, Straight	8 to 10mm	$300.00

DY412	Hand and Foot Fracture Systems	FRS Screw	10mm to 34mm L x 2.5mm 	$309.00

Diameter

DY413	Hand and Foot Fracture Systems	FRS .S.O.C Pin	9 to 40 mm Thread Length	$228.50

DY414	Guepar Radial Implants	Radial Stem, Radial Head	+0 to+4	$1,558.25

DY415	Guepar Radial Implants	Radial Stem, Radial Head	14/12mm to 16/16mm	$1,558.25

DY416	Total Shoulder System	Global CAP Conserv Head PC, Global CAP 	40 x 15 to 56 x 21	$1,525.00	$6,065.00

Conserv Head HA

DY417	Total Shoulder System	Global CAP Conserv Head PC, Global CAP 	40 x 15 to 56 x 21	$1,525.00	$6,120.00

Conserv Head Porous Coated

DY418	Mobile Ankle System	Tibial Tray	Size 1-6	$2,000.00	$2,500.00

DY419	Mobile Ankle System	Talus	Size 1-6	$2,300.00	$3,600.00

DY423	Proxima Hip System	Standard Offset Left/Right	Size 1 to 8	$5,250.00

DY424	Proxima Hip System	High Offset Left/Right	Size 1 to 8	$5,250.00

DY427	Conduit TCP	Bone matrix implant	5cc	$1,570.00

DY457	PFC Knee System Range	PFC Sigma C/S	Size 1-6	$1,120.00

DY459	SROM Knee System	PROM Insert Curved & Stabilised (Noiles)	Size 2-5	$967.00

DY460	SROM Knee System	Noiles Cap with Screw for Tibial Base	One size only	$313.00

DY461	SROM Knee System	Noiles Modular Tibial Base	XSml-Xlge	$2,884.00

DY462	SROM Knee System	Noiles Modular Tibial Base	XSml-Xlge	$2,792.00

DY463	SROM Knee System	Noiles Replacement Bumper Noiles Modular 	XSml - Medium	$135.00

or Replacement Hinge Bearing

DY464	AML Modular Heads	Ceramic Head Various Tapers & Neck Lengths	22 or 26 or 28 or 32 or 36mm	$2,055.00

Prostheses List by Category and Sponsor	Page 249 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DY465	LCS Total Knee System	Meniscal or Rotating Platform Bearings 	10-17.5mm Std to Lge+	$1,120.00

Standard and Deep Dish

DY466	LCS Knee system	Textured PCR or Rotating Platform or PCR 	Std to Lge ++	$2,224.00

tibial tray Chrome cobalt

DY467	PFC Knee System Range	PFC Sigma Knee Offset Tibial Tray  or 	Size 1-6	$3,905.00

Modular Plus tibial Tray

DY469	PFC Knee System Range	PFC Sigma CVD or PLI  Poly tibial	Size 1-6	$1,021.00

DY471	PFC Knee System Range	PFC Sigma C/R porous	Size 1-6	$2,560.00

DY472	PFC Knee System Range	PFC Sigma PLI or CVD or CS inserts or 	Size 1-6	$790.00

DY474	Solution Implantable Hip System	Revision Standard & MMA 8 straight or 	6" size 10.5 - 22.5	$3,588.00

bowed Porous coated

DY475	Duraloc Enduron Liner	Polythene Liner in Neutral or 10 or 20 Degree 	22.225 or 26 or 28 or  32mm size 	$884.00

or +4	48-74

DY476	LCS Complete System	RP Tibial Insert	Small - large, size 10 - 30mm	$1,120.00

DY477	BioIntrafix Tibial Soft Tissue Fastener (Sheath)	Absorbable composite (TCP/PLA) fixation 	30mm	$345.00

device (sheath) used in conjunction with a screw

DY478	Uniplate ACP System	Rescue Screw	12-18mm	$700.00

DY479	Uniplate ACP System	Primary Screw	12-18mm	$700.00

DY481	PFC Knee System Range	PFC Sigma CVD or PLI  Poly tibial	Size 1-6	$1,021.00

DY483	Unirom Total Hip System Femoral Stem	Stem Taper 11/13	11-17 mm or 16B sml to 22F  XXL	$5,250.00

DY484	LCS Patellofemoral Joint Prosthesis	LCS Patellofemoral Joint prosthesis, metal 	Small - Large	$1,700.00	$3,028.00

backed patella

DY493	Stability Hip System	Stem HA or Porocoat Coated	Sm,  Lge,  XLge size 10A - 18B	$5,200.00

DY495	LCS Complete System	MBT DuoFix CoCr or Universal Tibial Trays	1-6	$4,108.00

HA on Porocoat

DY501	SROM Total Hip System (Titanium)	ZT/HA	Small / Large /XX Large  size 14B-	$2,860.00

24F

DY502	LCS 3 Pegged Patella	Cemented & Textured or porous coated  3 peg 	Sm - Lge+	$1,352.00

Patella

JJ462	LCS Complete DuoFix Femur	CoCr femur with PoroCoat and HA coating for	Small, Medium, Standard, Large, 	$4,160.00

cementless fixation	Right and Left

Prostheses List by Category and Sponsor	Page 250 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE055	Osteotomy Plates	Osteotomy, Tibial -  Stainless Steel	5mm - 17.5mm	$820.00

DE059	Arthrex Meniscal Dart	PLA	10mm - 14mm	$304.00

DE060	Avulsion Screw	Titanium 	45mm	$446.00	$566.00

DE061	Fixion Nailing System	Stainless Steel	18x 6.7mm - 440 x 12mm	$1,990.00

DE062	Ligament Staples	Cobalt Chromium Molybdenium Alloy	6mm - 16mm	$135.00

DE063	Parachute Corkscrew Suture Anchor	PLA  & Titanium	3.5mm - 5mm	$455.00

DE064	Corkscrew Suture Anchor 	Titanium alloy	3.5 - 6.5mm x  5.0mm	$255.00

DE066	FASTak Titanium Suture Anchor	Titanium alloy	One size only	$240.00

DE068	Interference Screws	ARTHREX Non-sheathed	7 x 28mm - 12 x 28mm	$160.00

DE069	Interference Screws	Bio-Cortical - PLA	8 x 17 - 11 x 17mm and 8 x 20 - 10	$299.00

x 20mm

DE070	TransFix Implant Screw System - Arthrex	Titanium alloy	40mm & 50 mm	$445.00	$743.55

DE071	Arthrex Spiked Washer	Titanium alloy	14 - 15mm	$162.00	$369.00

DE072	Bio-Interference Screw	PLA	7mm - 9mm	$288.00

DE075	Arthrex Headed Bio-absorbable Corkscrew	PLA	8mm	$420.00

DE077	Cancellous Bone Screws	Low Profile	30mm - 40mm	$211.00

DE078	Osteotomy Plates	Osteotomy, Femoral - Stainless Steel	7.5mm - 17.5 mm	$1,193.00

DE080	Tissue Button	PLA	6.5mm - 10mm	$180.00

DE081	Tissue Tak	PLDLA	3mm - 4.5mm	$420.00

DE082	Hatric Bone Substitute	Ceramic	7mm - 15mm	$1,560.00

DE094	Osteotomy Plates	Anterior/posterior sloped.  Stainless steel	5 - 15mm length	$1,098.00

DE095	Fixation IM Nail - Proximal femur	Stainless steel	Dia 10 x 220mm, length 12 x 380mm	$2,750.00

DE096	Fixion IM nail - Humeral	Stainless steel	Dia 6.7 - 8.5mm (reduced), length 	$1,990.00

180 - 280mm

DE124	Fixion Hip Pin	Stainless Steel	Diameter 5mm x length 60-100mm	$210.00	$320.00

DE125	Bio-Corkscrew	Composition - polylactide, eyelet - polyester	3.5-6.5mm	$400.00

DE126	Chondral Dart	Polylactide Compositition	Length 18mm	$289.00	$409.00

DE127	Bio-Transfix	Composition Poly (L-lactide)	Diameter 5mm, length 50mm	$455.00	$956.80

Prostheses List by Category and Sponsor	Page 251 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DE128	Cortical Screw	Self locking screws, cancellous and cortical	Diameter 3.5-6mm, length 10-110mm	$230.00

DE129	Fixion Peg	Stainless steel peg with inflatable distal part	Diameter 8mm x lengths 80, 90, 	$960.00

100, 110, 120mm

DE130	MBCP	Micro & Macroporous Biphasic Calcium 	0.5 - 3mm (1- 2cc)	$255.00

Phosphate, composition - ceramic consituting

calcium phosphate hydroxyapatic 60% and

tricalcium phosphate beta (TCP) 40%,

granules

DE135	MBCP	Micro & Macroporous Biphasic Calcium 	1- 3mm (10cc)	$510.00

Phosphate, composition - ceramic consituting

calcium phosphate hydroxyapatic 60% and

tricalcium phosphate beta (TCP) 40%,

granules

DE136	MBCP	Micro & Macroporous Biphasic Calcium 	2-3mm (16cc)	$720.00

Phosphate, composition - ceramic consituting

calcium phosphate hydroxyapatic 60% and

tricalcium phosphate beta (TCP) 40%,

granules

DE137	MBCP	Micro & Macroporous Biphasic Calcium 	5 x 5 x 10-20mm	$350.00

Phosphate, composition - ceramic consituting

calcium phosphate hydroxyapatic 60% and

tricalcium phosphate beta (TCP) 40%, sticks

DE138	MBCP	Micro & Macroporous Biphasic Calcium 	5-12mm to 15 - 13mm	$615.00

Phosphate, composition - ceramic consituting

calcium phosphate hydroxyapatic 60% and

tricalcium phosphate beta (TCP) 40%,

granules

DE140	Bio-Fastak	Composition - Poly  (L-lactide-co-D, L-	3-11mm	$390.00

lactide) with an insert molded eyelet of non-

absorbable polyester suture

DE162	FASTak Suture Anchor (Small Bone)	Titanium suture anchor, preloaded with 	Dia 2.4mm x length 7.5mm	$425.00

polyester suture

DE163	Bio-Post & Washers	PLLA composition	Implant 35mm - 50mm, Washers 	$750.00

16mm

DE166	Bio-Tenodesis Screw	Composition PLLA	Dia 5.5-9mm	$570.00	$670.00

DE167	Bio-Interference Screw	Composition - PLLA, delta tapered	Dia6.5 - 10.5mm to 8 - 12mm x 28 	$450.00	$550.00

- 35mm length

Prostheses List by Category and Sponsor	Page 252 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DE168	Univers 3D Shoulder Prostheses	Stem	6-12mm	$5,880.00

DE169	Univers 3D Shoulder Prostheses	Glenoid Metal Back	Small, Medium, Large	$1,419.00

DE170	Univers 3D Shoulder Prostheses	Glenoid PE-Inlay	Small, Medium, Large	$920.00

DE171	Univers 3D Shoulder Prostheses	Metal Head	43/15 - 51/22	$1,130.00

DE172	Univers 3D Shoulder Prostheses	Cemented glenoid	Small, Medium, Large	$930.00

DE173	Univers Fracture Prostheses	Shaft	8-13mm	$6,220.00

DE174	Univers Fracture Prostheses	Metal head	43/15 - 51/22	$1,519.00

DE195	Bio Corkscrew	With Fibrewire Suture	3.5mm - 6.5mm	$435.00

DE196	Corkscrew Suture Anchor	Titanium alloy with Fibrewire suture	3.5mm - 6.5mm	$360.00

DE197	Bio - Fastak	with Fibrewire suture	3mm x 11mm	$440.00

DE198	Fastak Suture Anchor (Small Bone)	With Fibrewire Suture	Dia. 2.4mm x Length 7.5mm	$430.00

DE214	Cortical Screw	Titanium	10-24mm x 2.3mm	$110.00

DE215	Arthrex Osteotomy Plates	Metatarsal	2mm - 5mm	$550.00

DE216	Arthrex Osteotomy Plates	Tibial, Composition Titanium	3mm - 17.5mm	$1,300.00

DE217	Arthrex Osteotomy Plates	Femoral, Titanium	5mm - 17.5mm	$1,480.00

DE220	Bio-SutureTak	PLDLA Bioabsorbable Suture Anchors	2.4 - 3.7mm diameter x 5 - 14mm 	$430.00

length

DE224	Retro Screw	Composition PLLA	8-10mm x 20mm	$340.00	$550.00

DE225	Fastak Anchor	Titanium with fibrewire suture	2.8mm x 11.7mm	$355.00

DE226	B-Twin Vertebral Body Reconstruction 	Titanium, locking ring Nitinol	Diameter - 11.5/13 - 15.5/17, length	$4,524.00

System	 25 - 27mm

DE252	Tightrope Syndesmosis Repair Kit	Titanium or stainless steel, with non 	One size only	$589.00

absorbable Fiberwire suture material

DE256	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Trunnion	41 - 53mm	$3,200.00

DE257	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Head	41/16 - 53/20	$1,525.00

DE258	Eclipse Humeral Head Prosthesis	Eclipse Humeral Head Prosthesis Cage Screw	Small - X-Large	$1,000.00

DE261	PEEK Pushlock	PEEK Suture Anchor	3.5mm x 14mm	$600.00

Endotec Australia Pty Ltd

EA001	Buechel-Pappas Ultracoat Total Ankle 	Thick or Revision Talar - Ceramic coated 	1-6	$4,900.00

Replacement System (Primary and Revision)	titanium

Prostheses List by Category and Sponsor	Page 253 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EA002	Buechel-Pappas Ultracoat Total Ankle 	Primary Talar - Ceramic coated titanium	1 to 6	$3,850.00

Replacement System (Primary and Revision)

EA003	Buechel-Pappas Ultracoat Total Hip 	Acetabular Cup-Ceramic coated titanium	45mm to 69mm	$2,600.00

Replacement System (Primary and Revision)

EA004	Buechel-Pappas Ultracoat Total Hip 	Acetabular Bearing	45mm to 65mm	$832.00

Replacement System (Primary and Revision)

EA005	Buechel-Pappas Ultracoat Total Hip 	Femoral Head-Ceramic coated titanium	28mm to 58mm	$5,200.00

Replacement System (Primary and Revision)

EA006	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat Primary Femoral	$4,850.00

Replacement System (Primary and Revision)	 components with mobile Polyethylene inserts,	 sizes 1-6(inc) Left & Right

all polyethylene patella ceramic coated,

titanium backed polyethylene mobile patella

EA007	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented Primary 	$3,952.00

Replacement System (Primary and Revision)	 components with mobile Polyethelene inserts,	Femoral sizes 1-6(inc) Left & Right

all polyethelene patella ceramic coated,

titanium backed polyethylene mobile patella

EA008	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat Primary Tibial 	$3,860.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA009	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented Primary Tibial 	$2,250.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA010	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR mobile bearing insert sizes	$1,150.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA011	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat Mobile Patella 	$1,340.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

Prostheses List by Category and Sponsor	Page 254 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EA012	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP All Poly Patella sizes 1-6(inc)	$500.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA013	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat Revision 	$5,408.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	Femoral sizes 1-6(inc) Left & Right

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA014	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented Revision 	$4,597.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	Femoral sizes 1-6(inc) Left & Right

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA015	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat Revision tibial 	$5,439.00

Replacement System (Primary and Revision)	 Components with mobile polyethelene inserts	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA016	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented Revision tibial 	$4,690.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA017	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat revision hinged 	$5,928.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	femoral assembly sizes 1-6(inc) Left

all polyethelene patella ceramic coated, 	& Right

titanium backed polyethelene mobile patella

EA018	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented revision hinged 	$5,439.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	femoral assembly sizes 1-6(inc) Left

all polyethelene patella ceramic coated, 	& Right

titanium backed polyethelene mobile patella

Prostheses List by Category and Sponsor	Page 255 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EA019	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat hinged tibial 	$5,626.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA020	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented hinged tibial 	$5,439.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA021	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Ultracoat thick hinged 	$5,928.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	tibial sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA022	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Cemented thick hinged 	$5,439.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	tibial sizes 1-6(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA023	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP TKR Revision stems 9mm -	$1,248.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	20mm (inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA024	Buechel-Pappas Ultracoat Total Knee 	Ceramic Coated, Titanium Femoral and Tibial	BP Rebar Screws 20mm -50mm 	$220.00

Replacement System (Primary and Revision)	 components with mobile polyethelene inserts 	(inc)

all polyethelene patella ceramic coated,

titanium backed polyethelene mobile patella

EA025	Buechel-Pappas Ultracoat Total Shoulder 	Glenoid Fixation Cup - Ceramic coated titanium	44mm-52mm	$2,100.00

Replacement System (Primary and Revision)

EA026	Buechel-Pappas Ultracoat Total Shoulder 	Glenoid Bearing - Polyethelene	2 to 4	$950.00

Replacement System (Primary and Revision)

EA027	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Resurfacing Component-Ceramic 	44mm-56mm	$4,800.00

Replacement System (Primary and Revision)	coated Titanium

EA028	Buechel-Pappas Ultracoat Total Shoulder 	Humeral-Stem w / PC-Ceramic coated 	8-14mm	$3,550.00	$4,200.00

Replacement System (Primary & Revision)	titanium

Prostheses List by Category and Sponsor	Page 256 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EA029	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Head-Ceramic coated titanium	44mm-52mm	$2,200.00

Replacement System (Primary & Revision)

EA030	Buechel-Pappas Ultracoat Total Shoulder 	Salvage Humeral Stem-ceramic coated titanium	8-14mm	$4,200.00

Replacement System (Primary & Revision)

EA031	Buechel-Pappas Ultracoat Total Shoulder 	All-Poly Glenoid	2-4	$1,950.00

Replacement System (Primary & Revision)

EA032	Buechel-Pappas Ultracoat Total Shoulder 	Humeral Head Extension - Ceramic coated 	2.5 -10mm	$800.00

Replacement System (Primary & Revision)	titanium

EA033	Buechel-Pappas Ultracoat Total Shoulder 	Modular Humeral Stem Ceramic coated titanium	12mm	$5,440.00

Replacement System (Primary & Revision)

EA034	Buechel-Pappas Ultracoat Total Shoulder 	Modular Salvage Stem - Ceramic coated 	1-4	$4,000.00

Replacement System (Primary & Revision)	titanium

EA035	Buechel-Pappas Ultracoat Total Shoulder 	Stem Extension -  Ceramic coated titanium	8-20mm	$1,300.00

Replacement System (Primary and Revision)

EA036	Buechel-Pappas Ultracoat Total Ankle 	Tibial componenet ceramic coated titanium	1-6	$3,850.00

Replacement System (Primary and Revision)

EA037	Buechel-Pappas Ultracoat Total Ankle 	Polyethylene mobile bearing	3mm - 11mm	$925.00

Replacement System (Primary and Revision)

Endotherapeutics Pty Ltd

ET044	Resofix Anchor	Resofix anchor is a 2-shell expansion bolt 	Resofix - S Anchor - 10mm; Resofix	$1,000.00

made of amorphous poly DL-Lactide 	 - P Anchor - 10mm

resorbablel polyester

ESKA Australia

EK001	Metal Shell Type 2000/2000 Plus	PE Insert Type 2000 with Metal Cap TiAIV	$468.00

EK002	Metal Shell Type 2000/2000 Plus	PE Insert Type 2000 with Cap	$468.00

EK003	Metal Shell Type 2000/2000 Plus	PE Insert Type 2000 with Metal Cap 	$468.00

Assymetric 10 Degrees

EK004	Metal Shell Type 2000/2000 Plus	ESKA-CERAM Insert Type 2000 with Metal 	$1,100.00

Cap TiAIV

EK005	Metal Shell Type 2000/2000 Plus	ESKA-CERAM Insert Type 2000 with Metal 	$1,100.00

Cap 10 Deg

EK006	Metal Shell Type 2000/2000 Plus	ESKA-CERAM Insert Type 2000	$1,144.00

EK007	Metal Shell Type 2000/2000 Plus	ESKA-CERAM Insert Tupe 2000 Assymetric 	$1,144.00

10 degrees

Prostheses List by Category and Sponsor	Page 257 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EK008	Metal Shell Type 2000/2000 Plus	AI2 O3 Ceramic Head Biolox Forte Fracture 	$1,300.00

Head

EK009	Metal Shell Type 2000/2000 Plus	AI2 O3 Ceramic Head Biolox Forte	$1,300.00

EK010	Metal Shell Type 2000/2000 Plus	Metal Shell Screwless or screw fixation	$2,496.00

EK011	Fixation Device Internal Staple	Metal Staple	7 different sizes	$300.00

EK012	ESKA Great Toe	Metatarsal Components; Phalangeal 	various sizes	$2,800.00

Components

EK013	ESKA Finger System	Proximal, distal MCP joints, PIP joints	various sizes	$1,732.00

EK014	Adapter Hip System Cementless	Spongiosa. Metal HA coating porous femoral 	Femoral stem 1-7	$4,368.00

stem

EK015	ESKA Bipolar Head	Femoral head snap fit into acetabular cup	various diameters	$1,248.00

EK016	ESKA Tumor Revision System MML	Proximal femoral implant	various sizes	$11,225.00

EK017	ESKA Tumor Revision System MML	Total femoral implant	various sizes	$11,440.00

EK018	ESKA Tumor Revision System MML	Distal femoral implant	various sizes	$11,440.00

EK019	ESKA Modular All Poly Cup	Snap	$501.00

EK020	ESKA Modular All Poly Cup	Snap Lock	$572.00

EK021	ESKA Modular All Poly Cup	Assymetric 10 degree	$572.00

EK022	Type ST Biocondylar Surface Replacement	Polymer articulating components	Various sizes and heights	$1,144.00

EK023	Type A Cementless Cut Prosthesis	HA coating, femoral stem and dual cone	Femoral stems - 80mm-110mm, 	$4,888.00

Dual Cone - 10degrees-20degrees

EK024	Type RP Biocondylar Surface Replacement	Patella Component 3 peg cemented or 	small, medium, large	$450.00

cementless

EK025	Type ST Biocondylar Surface Replacement	Tibial Tray Component - cemented	s-small, small, medium, large, x-	$2,132.00

large

EK026	Type ST Biocondylar Surface Replacement	Tibial Tray Component - uncemented	s-small, small, medium, large, x-	$2,400.00

large

EK027	Cranial Shell type 2000	Acetabular Shell for revision. Screw fixation - 	52mm - 72mm Left and Right	$3,877.00

short flap, flap, anatomical flap

EK028	ESKA Modular Shoulder System	Humeral Stem Universal	$2,295.00

EK029	Type ST Biocondylar Surface Replacement	Fixed bearing left and right femoral 	s-small, small, medium, large, x-	$3,300.00

components. Cemented	large. Height - 8, 10, 12, 14mm

Prostheses List by Category and Sponsor	Page 258 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EK030	Type ST Biocondylar Surface Replacement	Fixed bearing left and right femoral 	s-small, small, medium, large, x-	$3,300.00

components. Uncemented	large. Height - 8, 10, 12, 14mm

EK031	Adapter Hip System cemented	Femoral Stem CoCr Matte finished material	Femoral stem 1-7	$1,872.00

EK032	Type RP Biocondylar Surface Replacement	Mobile bearing. Left and Right Femoral 	s-small, small, medium, large, x-	$3,300.00

components. Cemented.	large

EK033	Type RP Biocondylar Surface Replacement	Mobile bearing. Left and Right Femoral 	s-small, small, medium, large, x-	$3,500.00

components. Uncemented.	large

EK034	Adapter Hip System Cemented	Dual Cone	$780.00

EK035	Adapter Hip System Cemented	Lateral Offset Cone	$1,248.00

EK036	Femoral Head BS / Ceram	Femoral Head Al2O3	38-48mm	$2,000.00

EK037	Metal Insert Silver BS	Metal on metal resurfacing bearing insert	46-68mm	$2,100.00

EK038	Metal Shell Cementless BS	TiNiob Coated / HA / Spongiosa Metal Shell	46-68mm	$2,600.00

EK039	Hip Surf Replacement Cemented Silver BS	Femoral Head CoCr	38mm - 68mm	$2,600.00

EK040	Metal Shell Cementless /HA Screw Fixation BS	TiNiob Coating HA/Spongiosa Metal Shell	46-68mm	$2,900.00

EK041	Metal Shell Porous Screw Fixation BS	TiNiob Porous Spongiosa Metal Shell	46-68mm	$2,600.00

EK042	Metal Insert Silver BS	Metal on metal bearing insert	46-66mm	$2,100.00

EK043	PE Articular Surface Component Ankle Joint	4mm, 6mm, 8mm	$595.00

EK044	Tibial Plateau RP/B	Polymer Articulating Component	8-10-12-14mm	$1,100.00

EK045	Tibial Component Cementless RP	Tibial Tray Cementless CoCr MO	S-Small-Small-Medium-Large-X-	$2,900.00

Large

EK046	Talar Component Ankle Joint Cementless	CoCrMo	Small, Medium, Large	$2,550.00	Temporary Listing pending review of

product group

EK047	Metal Shell Cementless BS	TiNiob Coated / Spongiosa Metal Shell	46-68mm	$2,400.00

EK048	Tibial Plateau RP/A	Polymer Articulating Component	8-10-12-14mm	$1,100.00

EK049	Hip Surf Replacement Cementless Silver Surf 	Femoral Head CoCrMo/TiNb/HA	38mm-58mm	$3,200.00

HA BS

EK050	Tibial Component Cemented RP	Tibial Tray Cemented CoCr	S - Small - Small - Medium - Large	$2,800.00

- X-Large

EK051	Tibial Component Ankle Joint Cementless 	Tibial Component Ankle Joint CoCrMo/HA	Small, Medium, X-Medium, Large, 	$1,980.00	Temporary Listing pending review of

X-Large	 product group

EK052	Cancellous Screw	Cancellous Screw TiA1V	15mm - 90mm	$225.00

Prostheses List by Category and Sponsor	Page 259 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EK053	Tibial Component Ankle Joint Cementless	Tibial Component Ankle Joint CoCrMo	Small, Medium, X-Medium, Large, 	$1,980.00	Temporary Listing pending review of

X-Large	 product group

EK054	Nail TiNb	Nail TiNb	3 x 30, 40, 50mm length	$600.00

EK055	Profi Peg Nail TiNb	Peg TiNb	6 x 30, 40, 50mm length	$600.00

EK056	Insert Eska Ceram BS	Ceramic on ceramic resurfacing bearing insert	38-58mm	$2,600.00

EK057	Profi Peg Nail CoCr	Peg CoCr	10 x 30, 40, 50mm length	$549.00

EK058	Nail TiNb	Nail TiNb	6 x 30, 40, 50mm length	$549.00

EK059	Metal Head Eccentric CoCr Mo	Femoral Head CoCr	28mm - 32mm	$800.00

EK060	Metal Head CoCr	Femoral Head CoCr	28mm - 32mm	$850.00

EK061	Large Metal Head Silver CoCr	Femoral Head CoCrMo	38mm - 48mm	$1,794.00

EK062	Hip Surf Replacement Cementless Silver BS	Femoral Head CoCrMo/TiNb	38mm - 58mm	$3,200.00

EK063	Hip Surf Replacement Cementless Silver BS / 	Femoral Head CoCrMo / TiNb / Ha	38mm - 58mm	$3,200.00

Ha

EK064	Large Metal Head Silver Surf	Femoral Head CoCrMo	38mm - 48mm	$2,200.00

EK065	Insert Eska Ceram BS	Ceramic on ceramic bearing insert	48-66mm	$2,500.00

EK066	Hip Surf Replacement cementless BS / Ceram	Femoral Head Ceramic Al2O3	38-58mm	$4,600.00

EK067	Hip Surf Replacement cementless Silver 	Femoral Head CoCrMo/TiNb/HA	38-58mm	$3,200.00

Cornwall BS/HA

EK068	Hip Surf Replacement cementless Silver 	Femoral Head CoCrMo/TiNb	38-58mm	$3,200.00

Cornwall BS

EK069	Hip Surf Replacement cementless Silver Surf BS	Femoral Head CoCrMo/TiNb	38-58mm	$3,200.00

EK070	Metal Shell Dysplasia Porous Screw Fixation 	TiNiob Coating HA/Metal Shell with flange	46-66mm	$4,900.00

BS

EK071	ESKA Modular Shoulder System	Stem Extension	20mm - 40mm	$400.00

EK072	ESKA Modular Shoulder System	Humeral Plate	35mm - 43mm	$1,285.00

EK073	ESKA Modular Shoulder System	Humeral Component	20mm - 40mm	$2,920.00

EK074	ESKA Modular Shoulder System	Glenoid	Universal Size	$950.00

EK075	Talar Component Ankle Joint Cementless Ha	CoCRMo/Ha	Small, Medium, Large	$2,750.00	Temporary listing pending review of

product group

EK076	Rotator Cuff Head CTA Head	Rotator Cuff Head CoCr	small, medium, large	$2,330.00	$3,000.00

Prostheses List by Category and Sponsor	Page 260 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EK077	PE Insert Large Femoral Heads BS 38mm - 	UHMWPE Liner	38mm - 44mm - 48mm	$832.00

44mm - 48mm

EK078	Hip Surf Replacement Cemented BS / Ceram	Femoral Head Ceramic AL2O3	38mm - 58mm	$5,200.00

EK079	Hip Surf Replacement Cemented Silver Surf 	Femoral Head CoCrMo/TiNb	38mm - 58mm	$3,300.00

BS

EK080	Adapter GHE Long Stem Cemented	Femoral Component CoCr	160mm	$2,000.00

EK081	Adapter GHE Long Stem Cemented	Femoral Component CoCr	180mm - 200mm - 240mm	$3,500.00

EK082	PE Insert 32mm BS	UHMWPE Liner	32mm	$850.00

EK083	Adaptor Hip System Cemented Dual Cone	Dual Cone	10-20 deg - XL	$780.00

EK084	Large Metal Head Silver CoCr	Femoral Head CoCR	38mm - 48mm	$1,794.00

EK085	Large Metal Head Silver Surf	Femoral Head CoCR	38mm - 48mm	$988.00	$2,200.00

Finsbury Orthopaedics Australia Pty Ltd

FI001	ADEPT MoM Resurfacing Head	Resurfacing Head MoM, Cast CoChr	38-58 going up in 2mm increments	$3,307.00	$3,432.00

FI002	ADEPT MoP Acetabular Component	Porocast Acetabular Shell, CoChr, HA coated 	44-66 outer diameter going up in 	$3,640.00

size 44-66mm + poly liner	2mm increments

FI003	ADEPT MoP Acetabular Component	Porocast Acetabular Shell, CoChr, HA coated 	44-66 Outer diameter going up in 	$3,640.00

size 44-66mm + poly liner, Extra Fixation	4mm increments

FI004	ADEPT CoC Acetabular component	Porocast Acetabular Shell, CoChr, HA coated	44-66 Outer diameter going up in 	$5,100.00

2mm increments

FI005	ADEPT CoC Acetabular component	Porocast Acetabular Shell, CoChr, HA coated, 	44-66 Outer diameter going up in 	$5,100.00

ceramic liner, Extra Fixation	4mm increments

FI006	DBK Total Knee System	Tibial Insert, Polyethylene, Mobile Bearing, 	S/M/L Form, 9-17mm thickness	$884.00

posterior cruciate retaining

FI007	DBK Total Knee System	Tibial Tray Component cemented	1-6	$2,600.00

FI008	DBK Total Knee System	Tibial Tray Component, cementless	1-6	$3,120.00

FI009	DBK Total Knee System	Patella Component	S/M/L Form, 23-26-30-34 diameter	$468.00

FI010	MRK Total Knee System	Tibial Tray Component cemented, CoChr 	1-5	$2,132.00

Alloy

FI011	MRK Total Knee System	Tibial Tray Component cementless, CoChr 	1-5	$2,300.00	$2,750.00

Alloy

FI012	MRK Total Knee System	Patella Component, polyethylene, cemented	20-30mm	$468.00

Prostheses List by Category and Sponsor	Page 261 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

FI013	Adept MoM Acetabular Component	Porocast Acetabular Shell , Co Chr, HA coated	44-66mm Outer diameter going up 	$5,084.00	$5,200.00

size 44-66mm	in 2mm increments

FI014	Adept MoM Acetabular Component - Extra 	Porocast Acetabular Shell , Co Chr, HA coated	46-66mm Outer diameter going up 	$6,760.00

Fixation Cup	in 4mm increments

FI015	Adept MoM Modular Head	Metal on Metal modular head, CoChr, 12/14 	38 - 58mm going up in 2mm 	$2,392.00

Eurocone	increments. 4 different neck lengths

FI016	Finsbury Modular Heads	Cobalt Chromium	Diameter 22-26-28-32mm	$780.00

FI017	Finsbury Modular Heads	Ceramic	Diameter 22-26-28-32mm	$1,300.00

FI018	Freeman Hip Stem	Cobalt Chrome, ridged HA coated, cementless	165 lengths, diameter 10-12-14-16-	$4,056.00

18-20, offsets short 36mm and

medium 40mm

FI019	Freeman Hip Stem	Cobalt Chrome, smooth, cemented	165 lengths, diameter 10-12-14-16-	$1,923.00

18-20, offsets short 36mm and

medium 40mm

FI020	Freeman Hip Stem	Revision	Diameter 14-16/Short and Medium 	$3,150.00

offset +50mm

FI021	Adept Hip System	Femoral Hip Stem, cementless, titanium	12 standard sizes and 7 lateralised 	$3,520.00

sizes

FI022	Adept MoP Acetabular Component	Liner, unmodified polyethylene	$832.00

FI023	Adept CoC Acetabular component	Liner	$2,080.00

FI024	DBK Total Knee System	Tibial Insert, Polyethylene, Mobile Bearing, 	S/M/L Form, 9-17mm thickness	$884.00

posterior stabilised

FI025	DBK Total Knee System	Femoral Component, CoChr Alloy, cemented	Sizes 1-6, Left and Right	$2,600.00

FI026	DBK Total Knee System	Femoral Component, CoChr Alloy, uncemented	Sizes 1-6, Left and Right	$3,120.00

FI027	MRK Total Knee System	Tibial Insert, Polyethylene	1/2/3, 8-18mm thickness	$884.00

FI028	MRK Total Knee System	Femoral Component, Cemented, CoChr Alloy	0-5 Left and Right	$2,600.00

FI029	MRK Total Knee System	Femoral Component, cementless, CoChr 	0-5 Left and Right	$3,600.00

Alloy

FI030	Box Ankle	Tibial Component CoChr. Cementless	Small, Medium and Large	$1,980.00	Temporary Listing pending review of

product group

FI031	Box Ankle	Talar Component CoChr. Cementless	Small, Medium and Large	$2,750.00	Temporary Listing pending review of

product group

Prostheses List by Category and Sponsor	Page 262 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

FI032	Box Ankle	Meniscal Insert, UHMWPE	Small 5-8mm, Medium 5-8mm and 	$595.00	Temporary Listing pending review of

Large 5-8mm	 product group

Global Manufacturing Technology Pty Limited

GM002	Lobe Lok System	Bone Screw	4 x 15mm to 4 x 30mm	$225.00	Temporary approval, pending review

of application in August 2005

GM003	Lobe Lok System	Glenoid	small to large	$1,903.00	Temporary approval, pending review

of application in August 2005

GM004	Lobe Lok System	Humeral Coupling	single size	$1,890.00	Temporary approval, pending review

of application in August 2005

GM005	Lobe Lok System	Humeral Head - Ceramic	40 to 56mm	$3,625.00	Temporary approval, pending review

of application in August 2005

GM006	Lobe Lok System	Humeral Head - CoCr	42 to 54mm	$2,875.00	Temporary approval, pending review

of application in August 2005

GM007	Lobe Lok system	Humeral stem	135 to 155mm	$2,875.00	Temporary approval, pending review

of application in August 2005

GM008	Edinburgh Total Hip System (Hip Stem)	Femoral Head CoCr	28mm and 32mm	$745.00	$936.00

GM009	C-ment1, C-ment 3, Genta C-ment , Genta C-	Acrylic Bone Cement	40 grams	$215.00	$240.00

ment 3

GM016	Cer-Met II (Acetabular Component)	Acetabular cup Inserts UHMWPE	46mm to 66mm	$613.00	$936.00

GM017	Cer-Met Series II (Acetabular Component)	Acetabular Shell Porous/HA Ti	46mm to 66mm	$2,704.00

GM018	C-ment 1, C-ment 3, Genta C-ment, Genta C-	Acrylic Bone Cement with Gentamicin	40 grams	$215.00	$240.00

ment 3

GM019	Edinburgh Total Hip System (Hip Stem)	Femoral Head Biolox Ceramic	28mm and 32mm	$2,055.00

GM021	Classic Marathon (Acetabular Component)	Bi-Polar	40mm to 54mm	$1,248.00

GM022	Edinburgh Total Hip System (Acetabular 	Acetabular Cup UHMWPE	44mm to 56mm	$572.00	$884.00

Component)

GM024	Cer-Met Series II (Acetabular Component)	Acetabular cup Inserts Ceramic	46mm to 66mm	$2,558.00

GM028	Lobe Lok System	Neck Extension	126 to 135	$2,940.00	Temporary approval, pending review

of application in August 2005

GM030	Lobe Lok System	A/P insert with locking screw	Size 1 to 3	$1,960.00	$2,700.00	Temporary approval, pending review

of application in August 2005

GM036	Callos Bone Void Filler	Calcium Phosphate	10cc	$2,050.00

GM037	Callos Bone Void filler	Calcium Phosphate	5cc	$1,400.00

Prostheses List by Category and Sponsor	Page 263 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GM038	Edinburgh Total Hip System (Hip Stem)	Femoral stem cemented CoCr	CDH to Size 4 Narrow: Size 1 to 	$2,317.00

Size 4 Standard

GM042	BioBall - Femoral modular head system	Femoral neck, 12/14 standard, 12/14 7.5 offset,	small to 5 XL, M to 5 XL, M to 5 	$3,328.00

14/16 standard	XL

GM043	BioBall - Femoral modular head system	Femoral Head CoCr - <32mm	28mm to 38mm	$745.00	$1,144.00

GM044	BioBall - Femoral modular head system	Femoral head Biolox ceramic	28mm to 36mm	$2,055.00

GM045	BioBall - Femoral modular head system	femoral modular head system	$1,144.00

GM046	Edinburgh Total Hip System	PMMA - distal plug and centraliser	12mm to 30mm	$242.00

GM047	Contile Fin II	Acetabular Shell Porous HA Ti	44 to 72mm	$2,704.00

GM048	Contile Fin II	Acetabular Cup Inserts UHMWPE	44 to 72mm	$613.00	$1,160.00

GM049	Contile Fin II	Acetabular Cup Inserts Biolox Ceramic	44 to 72mm	$2,558.00

GM050	Contile Fin II	6.5mm Ti Cnacellous Bone Screws	20 to 50mm	$225.00

GM051	Contile Fin II	Revision Ring Ti	52 to 72mm	$1,924.00

GM052	SMR Modular Hip System	Proximal Component	40 to 70mm	$3,588.00

GM053	SMR Modular Hip System	Locking Screw	40 to 70mm	$200.00

GM054	SMR Modular Hip System	Distal Component	14x160mm to 24x320mm	$4,784.00

GM055	SMR Modular Hip System	Calcar Component	40 to 70mm	$3,588.00

GM056	SMR Modular Hip System	Femoral Head Co Chr	22 to 32mm	$745.00	$1,144.00

GM057	SMR Modular Hip System	Femoral Head Biolox Ceramic	28 to 32mm	$2,055.00

GM058	SMR Modular Hip System	6.5mm Cancellous Bone Screws	15 - 80mm	$200.00

GM059	SMR Modular Hip System	4.5mm Cortical Bone Screws	20 to 80mm	$64.00	$200.00

GM066	BioBall - Femoral modular head system	Femoral Head CoCr >32mm	28mm to 38mm	$988.00	$1,144.00

GM090	Apex Global Modular Hip System	Femoral Stem Porous / HA Coated Modular 	Size 0 to size 9mm	$4,428.00

Ti, standard and short lengths

GM091	Apex Global Modular Hip System	Neck Ti	25mm - 35mm to 35mm - 50mm	$3,200.00

GM092	Apex Global Modular Hip System	Femoral Head CrCo	28mm & 32mm	$745.00	$1,100.00

GM093	Apex Global Modular Hip System	Femoral Head Ceramic	28mm & 32mm	$2,000.00

GM094	Apex Global Modular Hip System	Femoral Stem, Porous/HA coated, modular, ti,	Size 1 x 10mm to Size 8 x 17.5mm	$4,428.00

long length

GM096	Maxima/Optima Anterior Cervical Plate 	Pedicle Screw - Mono Axial Type	4.5mm - 8.5mm length 25mm - 	$900.00

System	60mm

Prostheses List by Category and Sponsor	Page 264 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GM097	Maxima/Optima Anterior Cervical Plate 	Hooks ppen & closed - Pedicle & laminar	6.5mm - 11mm	$745.00

System

GM098	BacFix (Thoracolumbar System)	SpeedLink fixed distance rod - Titanium alloy	5.5 - 6mm x 15 - 35mm	$1,450.00

GM099	BacFix (Thoracolumbar System)	SpeedLink adjustable length rod - Titanium 	5.5 - 6mm x 39.5 - 75mm	$1,670.00

alloy

GM100	Lobe Lok Total Shoulder System	Glenoid - Metal Backed UHMWPE Ti HA	Small to Large	$3,200.00

GM101	Lobe Lok Total Shoulder System	Humeral ReSurf Cap - CrCo	Small to Large	$5,900.00

GM102	Lobe Lok Total Shoulder System	CTA Head	Small to Large	$3,230.00

GM103	Lobe Lok Total Shoulder System	Contoured Glenoid Flange Ti	Small to Large	$2,035.00

GM104	Lobe Lok Total Shoulder System	Lobe Lok Head 30mm CrCo	Small to Large	$2,875.00

GM105	Lobe Lok Total Shoulder System	Humeral Socket Ply Insert-UHMWPE	Small to Large	$1,903.00

GM106	Lobe Lok Total Shoulder System	Humeral Socket Shell-Ti	small to large	$2,940.00

GM107	Apex Global Modular Hip System	Neck Ti (Salvage)	8-10 taper, 9-11 taper, 12-14 taper, 	$3,000.00

V40 taper, 353 taper

GM108	BioBall - Femoral Modular Head System	Femoral Head Biolox Delta	36mm	$2,000.00

GM109	OsteoBridge	OsteoBridge Interlocking Screw	18m to 56mm	$403.00

GM110	OsteoBridge	OsteoBridge Nail 60mm to 200mm	7mm, 8mm, 9mm, 10mm, 12mm, 	$4,322.00

14mm & 16mm

GM111	OsteoBridge	OsteoBridge Spacer	20mm, 25mm & 30mm	$6,571.00

GM112	OsteoBridge	OsteoBridge Reducing Sleeve	20mm, 25mm & 30mm	$3,400.00

GM113	Global Modular Hip	Acetabular Shell Porous / Ti HA	48mm to 66mm	$2,704.00

GM114	Global Modular Hip	Acetabular Cup Insert Ceramic	48mm to 66mm	$2,500.00

GM115	Global Modular Hip	Acetabular Cup Insert UHMWPE	48mm to 66mm	$613.00	$1,115.00

GM116	Global Modular Hip	Cancellous Bone Screws Ti	20mm to 50mm	$200.00

Global Orthopaedic Technology

GO001	RBK Total Knee System - Patellar component	Polyethylene	24mm - 40mm	$593.00

GO002	RBK Total Knee System - Tibial insert	Polyethylene	1-5, 10-20mm	$1,071.00

GO003	RBK Total Knee System - Tibial Base	No coatings	0 - 5	$2,005.00	$3,692.00

GO004	RBK Total Knee System - Tibial base	Porous coating	1-5	$3,900.00

GO005	RBK Total Knee System - Tibial base	Porous and hydroxyapatite coating	1-5	$4,108.00

Prostheses List by Category and Sponsor	Page 265 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO006	RBK Total Knee System	Femoral Component, Primary, Mobile 	0 - 5	$3,234.00

Bearing, Co Coatings

GO007	RBK Total Knee System - Femoral 	Porous coating	1-5	$3,245.00

Component

GO008	RBK Total Knee System - Patella component	Polyethylene/metal/hydroxyapatite coating	sizes 1 - 5	$1,352.00

GO009	Consensus Hip System	Femoral head CoCr	22-32mm	$745.00	$1,144.00

GO010	Consensus Hip System	Femoral head Biolox ceramic	28-32mm	$2,080.00

GO011	UniSyn Hip System	a) Stem fluted straight, b) Stem porous plasma	a) 10 x 130 to 20 x 170mm, b) 14-	$3,328.00

sprayed straight, c) Stem porous plasma 	20 x 140-170mm, c) 14-18 x 140-

sprayed bowed, d) Stem fluted tapered	160mm, d) 10-20 x 130-170mm

GO012	UniSyn Hip System	a) Stem fluted straight Ti, b) Stem fluted 	a) 10-20 x 170-210mm, b) 12-24 x 	$4,992.00

bowed Ti; c) Stem porous plasma sprayed 	210mm, c) 14-25 x 180-210mm, d)

straight, d) Stem porous plasma sprayed 	14-25 x 210mm, e) 10-25 x 170-

bowed; e) Stem fluted tapered	210mm

GO013	UniSyn Hip System	a) Stem fluted bowed Ti; b) Stem porous 	a) 12-24 x 260mm, b) 14-25 x 	$5,543.00

plasma sprayed straight, c) Stem porous 	260mm, c) 14-25 x 260mm, d) 10-

plasma sprayed bowed; d) Stem fluted tapered	25 x 260mm

GO014	UniSyn Hip System	a) Neck standard Ti, b) Body standard plasma 	a) 30-36 x 34-46mm, b) 22-30 x 22-	$2,652.00

sprayed Ti, c) Body standard Ti HA coated, d)	34mm, c) 22-30 x 22-34mm, d) 22-

Body cone Ti plasma sprayed,	30mm

GO015	UniSyn Hip System	Uncemented, Neck Calcar replacement	36 - 55 x 34 - 46mm	$3,328.00

GO016	UniSyn Hip System	Uncemented Body Ti plasma HA coated, 	22 -38mm	$3,328.00

standard lengths, modular

GO017	UniSyn Hip System	Uncemented Calcar body, Ti, HA coated	22 - 30mm	$3,328.00

GO018	UniSyn Hip System	Uncemented Calcar Body, Ti, Plasma, HA 	22-30mm	$3,328.00

coated

GO019	UniSyn Hip System	Locking nut Ti	30-54mm	$200.00

GO020	UniSyn Hip System	a) Stem fluted bowed Ti, b) Stem porous 	a) 12-24 x 310mm, b) 14-25 x 	$6,240.00

plasma sprayed bowed, c) Stem fluted tapered	310mm, c) 10-25 x 310mm

GO021	Consensus Knee System	Femoral component nonporous CoCr and PS	1-6 L & R	$3,068.00

GO022	Consensus Knee System	Femoral component porous CoCr	1-6 L & R	$3,203.00

GO023	Consensus Knee System	Femoral component porous CoCr/Ti	1-6 L & R	$4,160.00

Prostheses List by Category and Sponsor	Page 266 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO024	Consensus Knee System	a) Stemmed tibial baseplate nonporous CoCr; 	a) 1-6 L & R; b) 1-6 L & R	$2,132.00	$2,600.00

b) Stemmed tibial baseplate CCM nonporous

Ti

GO025	Consensus Knee System	Resurfacing tibial baseplate porous Ti	1-6 L & R	$2,298.00	$3,536.00

GO026	Consensus Knee System	Stemmed tibial baseplate porous CoCr/Ti	1-6 L & R	$2,652.00	$3,224.00

GO027	Consensus Knee System	Congruent tibial insert UHMWPE	1-2 to 5-6 L & R 10-18mm	$810.00

GO028	Consensus Knee System	a) PCL substituting tibial insert; b) Posterior 	a) 1-2 to 5-6 L & R 10-18mm; b) 1-	$972.00

stabilized tibial insert	2 to 5-6 L & R 10mm-18mm

GO029	Consensus Knee System	Patellar component porous Ti/UHMWPE	10mm sz 1-3	$785.00	$1,144.00

GO030	Consensus Knee System	Patellar component all UHMWPE	7.5mm sz 0-2; 10mm sz 1-3	$593.00

GO031	Global re-surfacing uni-compartmental knee 	Uni-compartmental knee, tibial tray 	0-5 6.5mm - 9.5mm regular	$1,352.00

tibial implant	component, cemented, moulded, polyethylene

GO032	Global re-surfacing uni-compartmental knee 	CoCrMo	Size 1-5 Right medial/left lateral; 	$2,560.00	$3,328.00

femoral implant	Size 1-5 Left medial/right lateral

GO033	UniSyn Hip System	Neck non-standard Ti	24-55mm x 38-50mm	$3,328.00

GO034	UniSyn Hip System	Stem/Body/Monoblock Porous/HA Fluted Ti	0 to 6	$4,160.00

GO035	RBK Total Knee System - Femoral 	Trochlear Component, no coating CoCrMo	Size 1 to 5	$2,969.00	$3,640.00

Component

GO036	Consensus Hip System	Femoral stem cemented polished CoCr tapered	6 to 14	$2,080.00

modular

GO037	Consensus Hip System	Femoral Stem Porous/HA Coated short and 	1 to 5	$4,160.00

standard lengths modular

GO038	Consensus Hip System	Acetabular Cup Inserts UHMWPE 22mm to 	42mm to 68mm	$1,160.00

32mm

GO039	Consensus Hip System	Acetabular Cup Inserts Ceramic 28mm to 32mm	42mm to 68mm	$2,325.00	$2,600.00

GO040	Consensus Hip System	Acetabular Shell Porous/HA Ti	42mm to 68mm	$2,652.00	$3,276.00

GO041	Consensus Hip System	6.5mm Ti Cancellous Bone Screws	15mm to 50mm	$200.00

GO042	Consensus Hip System	Protrustion Spacer Ti	42mm to 68mm	$1,035.00

GO043	Consensus Hip System	Femoral head - Modular CoCr	38-58mm	$988.00

GO044	Consensus Hip System	Acetabular cup porous coated CoCr	44-66mm	$5,084.00

GO045	Consensus Hip System	Dysplasia cup porous coated + screws	46-66mm	$7,280.00

Prostheses List by Category and Sponsor	Page 267 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO046	Consensus Hip System	Femoral Head Cemented CoCr	38-58mm	$988.00

GO047	ICON Hip System	Femoral Head - Modular CoCr	38-58mm	$2,392.00

GO048	ICON Hip System	Acetabular Cup Porous Coated CoCr	44-66mm cups	$5,084.00

GO049	ICON Hip System	Femoral Head Cemented CoCr	38-58mm head	$3,162.00

GO050	ICON Hip System	Dysplasia Cup Porous Coated with Screws 	46-66mm	$7,280.00

CoCr

GO051	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based 	10ml, 2-5 & 5-10mm	$1,200.00

bone matrix

GO052	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based 	20ml, 2-5 & 5-10ml	$2,300.00

bone matrix

GO054	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based 	High Volume Grafting Kit. 2-5 & 5-	$4,500.00

bone matrix	10mm

GO055	ApaPore	ApaPore 60. Sterile, hydroxyapatite-based 	4cc block	$1,000.00

bone matrix

GO057	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based 	10ml, 2-5mm	$1,430.00

bone matrix

GO058	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based 	20ml. 2-5 & 5-10mm	$1,779.00

bone matrix

GO059	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based 	High Volume Grafting Kit. 2-5 & 5-	$4,500.00

bone matrix	10mm

GO060	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based 	4cc block	$1,200.00

bone matrix

GO061	ApaPore	ApaPore 70. Sterile, hydroxyapatite-based 	10cc block	$1,300.00

bone matrix

GO062	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based 	10ml. 2-5mm	$1,000.00

bone matrix

GO063	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based 	20ml. 2-5mm	$1,550.00	$1,600.00

bone matrix

GO064	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based 	4cc block	$1,200.00

bone matrix

GO065	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based 	10cc block	$2,300.00

bone matrix

GO066	ApaPore	Actifuse. Sterile, hydroxyapatite-based bone 	 1-2ml to 10cc	$1,080.00	$1,200.00

matrix

Prostheses List by Category and Sponsor	Page 268 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO067	ApaPore	Actifuse. Sterile, hydroxyapatite-based bone 	20cc	$1,470.00	$2,400.00

matrix

GO068	ApaPore	ApaPore 80. Sterile, hydroxyapatite-based 	High Volume Grafting Kit. 2-5 & 5-	$4,500.00

bone matrix	10mm

GO069	UniSyn Hip System	Uncemented Body Plasma, Ti, HA coated, 	22 - 30mm	$3,120.00

short lengths, modular

GO070	UniSyn Hip System	Uncemented Body Calcar replacement, plasma,	22 -30	$3,640.00

Ti, modular

GO071	Unisyn Hip System	Uncemented Body Ti plasma HA coated, long 	22 - 30mm	$3,536.00

lengths, modular

GO072	UniSyn Hip System	Uncemented Calcar Body, Ti, Plasma, HA 	22-30mm	$3,536.00

coated, extra long lengths, modular

GO073	Consensus Hip System	Femoral stem cemented polished CoCr straight	6 to 14	$2,080.00

modular

GO074	Consensus Hip System	Femoral Stem Porous/HA Coated long lengths	6 - 14	$4,992.00

modular

GO082	Nex-Link	Spinal Fixation System, Cervical Hooks	5 & 7mm	$720.00

GO083	Nex-Link	Spinal Fixation System, Spinal Rod	120 & 240mm	$350.00

GO092	C-Fix Cable Fixation System	Titanium Leader Cable Assembly	1-1.3mm	$1,200.00

GO113	RBK Total Knee System	Revision Femoral Component, CrCo	Sizes 0 to 5	$5,500.00

GO114	RBK Total Knee System	Tibial and Femoral Stems, Titanium	10mm to 24mm thick x 80mm to 	$2,189.00

170mm long

GO115	RBK Total Knee System	Revision Tibial Tray, CrCo	Size 00 to 5	$3,600.00

GO116	RBK Total Knee System	Tibial Inserts, Titanium	4mm and 10mm thick	$3,000.00

GO117	RBK Total Knee System	Posterior stabilised tibial insert, UHMWPE	Size 0 to 5, 10mm to 20mm thick	$1,000.00

GO118	RBK Total Knee System	Femoral Inserts, Titanium	4mm and 10mm thick	$590.00

GO119	RBK Total Knee System	Rotating Hinge Bushing Mechansim	Complete mechanism	$4,540.00

GO120	RBK Total Knee System	Screw, Ti	5mm to 5.7mm x 5mm to 17.5mm 	$280.00

long

GO123	3D Knee	Femoral Component nonporous CrCo	Size 2 to 12	$3,068.00

GO124	3D Knee	Femoral Component Porous, CrCo	Size 2 to 12	$3,203.00

GO125	3D Knee	Tibial Baseplate nonporous CrCo	Size 1 to 12	$2,132.00	$2,600.00

Prostheses List by Category and Sponsor	Page 269 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO126	3D Knee	Tibial Baseplate porous CrCo	Size 1 to 12	$1,841.00	$3,536.00

GO127	3D Knee	Congruent tibial insert UHMWPE	Size 1 to 12, 9mm to 19mm	$810.00

GO128	3D Knee	Patellar component all UHMWPE	Size 26 to 38mm	$593.00

GO129	FMP Acetabular System	Acetabular Shell Porous / Ti HA	48mm to 66mm	$2,704.00

GO130	FMP Acetabular System	Acetabular Cup Insert Metal on Metal	48mm to 66mm	$2,000.00

GO131	FMP Acetabular System	Acetabular Cup Insert UHMWPE	48mm to 66mm	$613.00	$1,115.00

GO132	FMP Acetabular System	Femoral Head - Metal on Metal	28 to 38mm	$1,768.00

GO133	FMP Acetabular System	Cancellous Bone Screws Ti	25mm to 50mm	$200.00

GO134	R120	Femoral Stem polished / grit blasted Modular,	Size 1 to 6	$2,300.00

CrCo, standard lengths

GO135	R120	Femoral Stem porous/HA coated, Modular, 	Size 1 to 6	$3,060.00	$4,000.00

CrCo, standard lengths

GO136	R120	Neck, CrCo, HA coated	32mm by 8 degrees to 38mm by 12 	$1,427.00	$3,000.00

degrees

GO137	R120	Femoral Head CrCo	28mm to 36mm	$795.00	$1,100.00

GO138	R120	Femoral Head Ceramic	28mm to 36mm	$2,000.00

GO139	R120	Neck, CrCo	32mm by 8 degrees to 38mm by 12 	$1,427.00	$3,000.00

degrees

GO141	Foundation Shoulder System	Humeral Stem, Ti	6mm to 16mm	$2,800.00

GO142	Foundation Shoulder System	Humeral Head, CrCo	38mm to 54mm	$2,800.00

GO143	Foundation Shoulder System	Pegged & Keeled Glenoid, compression 	38mm to 54mm	$1,875.00

moulded UHMWPE

GO144	Keramos Acetabular System	Acetabular Cup Insert Ceramic	48mm to 66mm	$2,500.00

GO145	Keramos Acetabular System	Acetabular Cup Insert UHMWPE	48mm to 66mm	$613.00	$1,115.00

GO146	Keramos Acetabular System	Femoral Head Ceramic	28 to 32mm	$2,000.00

GO147	Keramos Acetabular System	Cancellous Bone Screws Ti	25mm to 50mm	$200.00

GO148	Reverse Shoulder System	Humeral Stem, Ti	6mm to 12mm	$2,875.00	Temporary approval. Review in

November 2007 cycle.

GO149	Reverse Shoulder System	Glenoid Baseplate, Ti, Porous, HA	Small to Large	$2,875.00	Temporary approval. Review in

November 2007 cycle.

GO150	Reverse Shoulder System	Glenoid Head, CoCr	32mm to 40mm	$2,875.00	Temporary approval. Review in

November 2007 cycle.

Prostheses List by Category and Sponsor	Page 270 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GO151	Reverse Shoulder System	Humeral Socket Insert - UHMWPE	32mm to 40mm	$1,903.00	Temporary approval. Review in

November 2007 cycle.

GO152	Reverse Shoulder System	Humeral Socket Shell - Ti	Neutral, +4mm, +8mm offset	$2,940.00	Temporary approval. Review in

November 2007 cycle.

GO153	Reverse Shoulder System	Bone Screw	3.5 x 15mm to 5 x 30mm	$225.00

GO154	Keramos Acetabular System	Acetabular Shell Porous / Ti HA	48mm to 66mm	$2,900.00	$3,150.00

Global Scientific Pty Ltd

GS219	Polar Hip System	Acetabular Reconstruction Shell	49-71mm	$5,000.00

Henry Schein/Halas

HD001	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.25gm	$99.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

HD002	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	0.5gm	$170.00	$176.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

HD003	Bio-Oss Bone Natural Bone Mineral	Derived from bovine bone	2.0gm	$528.94	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

Heraeus Kulzer Australia Pty Ltd

HK001	Palacos Bone Cement with Gentamicin	Single Mix PMMA with Gentamicin	40 grams	$215.00	$238.00

Hipokrat Australia Pty Ltd

HP011	Austin Moore Hip Prostheses	Standard and Narrow Stem	Standard- Head Diam. 38mm-	$460.00

58mm, Stem Length 127mm-

154mm; Narrow - Head Diam.

38mm-58mm, Stem Length

140mm-152mm

Howmedica

HW001	Hardinge Cement Restrictor	PMMA	6,9 and 12 Leaf	$125.00

HW002	Seidel Plugs	Seidel Cement Restrictor - Polyethylene.	8, 10, 12, 14, 16, 18mm	$120.00

HW003	Exeter Cement Security System	Exeter Bone Pug -  PMMA	6, 8, 10, 12, 14, 16, 18, 20mm	$180.00

HW005	Artisan Bone Plug	Artisan Cement Restrictor - Polyethylene	Small, Medium, Large	$180.00

HW006	Exeter Cement Security System	X-Change Bone Plug - PMMA	10, 12, 14, 16, 18, 20mm	$268.00

HW009	HNR System	Head Neck Replacement System - Non-Porous 	Medium, Large, X-Large, XX-Large 	$2,600.00

Stem - Cobalt Chrome	 Body Size 33, 43, 53mm

Prostheses List by Category and Sponsor	Page 271 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW011	ABG Hip System	Screw - Titanium, used with ABG11 Cups	12,15,20,25,30,35,40,45 and 50mm	$118.77

lengths

HW012	ABG Hip System	Spikes - Titanium, used with ABG11 Cups	7mm, 8mm, 9mm lengths	$85.00

HW014	ABG 11Cup with Hydroxyapatite	ABG11 Acetabular Cup - HA coated/Titanium	Sizes 42mm to 74mm OD in 2mm 	$2,600.00

increments

HW015	ABG 11Cup with Hydroxyapatite	ABG II Ceramic Cup - HA coated/Titanium	Sizes 44mm to 66mm OD in 2mm 	$2,600.00

increments

HW017	Stryker Biolox Forte Alumina Femoral Head	28, 32mm	$2,055.00

HW021	ABG Hip System	ABG11 Polyethylene Insert - Enhanced 	22mm,28mm,32mm ID	$1,160.00

Polyethylene. Standard or 10deg hooded

inserts

HW024	ABG11 Hip Stem Prosthesis(Various)	ABG ll Femoral Stem - HA coated/Titanium	Stem sizes 1 - 8 Left,  1 - 8 Right	$4,700.00

HW025	Austin Moore Endoprosthesis	Long Stem - Vitallium	Head size 38 to 63	$800.00

HW026	Austin Moore Endoprosthesis	Standard Stem - Vitallium	105-165mm length, Head size: 38 to	$640.00

57

HW029	Contemporary Hip System Range	Duration Poly Cup -  Enhanced Polyethylene	ID: 26, 28, 32.  OD 46, 48, 50, 52, 	$936.00

54, 56, 58, 60

HW030	Contemporary Hip System Range	Exeter Contemporary Flanged Poly Cup -  	ID: 26, 28, 32.  OD 46, 48, 50, 52, 	$961.00

Enhanced Polyethylene	54, 56, 58, 60

HW031	Definition PM Femoral Component	Femoral Stem -  Vitallium	Stem sizes 1 - 7	$2,080.00

HW032	Stryker CoCr Femoral Head	22, 26, 28, 30, 32mm	$795.00

HW034	Definition PM Femoral Component	Distal Centraliser -  PMMA -  Ring 	11-22mm	$55.00

Centraliser

HW035	Exeter Hip System	Exeter Duration Cup - Enhanced Polyethylene 	OD:40-60mm, ID: 22, 26, 28, 30	$936.00

-  Low and High Profile

HW036	Exeter Hip System	Exeter Duration X-Tra Cover Cup - Enhanced 	OD:40-60mm, ID: 22, 26, 28, 30	$936.00

Polyethylene

HW038	V40 Orthinox Head	Stainless Steel	22 - 28mm dia	$815.00

HW040	Exeter Hip System	Long Stem -  Orthinox	Stem Lengths 205 	$3,550.00

HW041	Exeter Hip System	Stem: Standard -  Orthinox	Stem Sizes 0-6, Offsets 35 - 5, 37 - 	$2,392.00

5, 44, 50mm

HW043	Brunswick Cup	Polyethylene	44, 48, 50, 52, 54, 56mm OD	$832.00

HW044	Exeter Hip System	X-Change Revision Mesh - Stainless Steel	Acetabular, Femoral and Flat Mesh	$889.00

Prostheses List by Category and Sponsor	Page 272 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW045	Exeter Hip System	X-Change Revision Mesh -Rim -  Stainless 	Small	$886.00

Steel

HW046	Exeter Hip System	X-Change Revision Mesh - Rim -  Stainless 	Large	$855.00

Steel

HW047	Exeter Hip System	X-Change Bone Screws -  Stainless Steel	3.5mm X 10, 15, 20, 25, 30, 35mm	$129.00

HW048	Trochanteric Mesh	Stainless Steel	Small/Large	$500.00

HW049	Trochanteric Mesh	Wire mesh -  Stainless Steel	50 x 50mm	$666.00

HW051	Meridian ST Stem	ST Stem -  Vitallium/Porous coated	Stem size 0 to 9	$5,250.00

HW053	Meridian PA Hip	PA Stem -  Vitallium/Periapatite coated	Stem size 0 to 9	$5,250.00

HW054	Citation Hip	AT Stem -  Vitallium/Porous coated	Stem sizes 0 - 8 Left & Right	$5,250.00

HW055	Citation Hip	TMZF - HA Stem -  Titanium/HA coated 	Stem sizes 0 - 8 Left & Right	$5,044.00

HW057	RELIANCE HIP	Distal Centraliser -  PMMA	10-18mm	$55.00

HW060	PCA Hip System 	PCA Cup inserts -  Enhanced Polyethylene	26mm,28mm,32mm ID	$1,160.00

HW064	Petrusion Shell	Kerboull -  Vitallium	44, 48, 52, 56, 60mm OD	$1,153.00

HW068	Vitalock Acetabular System	Solid-Back Cup -  Vitallium/Porous Coated	42 to 76mm OD in 2mm increments	$2,435.00

HW069	Vitalock Acetabular System	Cluster Cup -  Vitallium/Porous Coated	42 to 76mm OD in 2mm increments	$2,435.00

HW070	Vitalock Acetabular System	PA Solid-Back and Cluster Cup -  	42 to 76mm OD in 2mm increments	$2,652.00

Vitallium/Periapatite coated

HW071	Vitalock Acetabular System	Cancellous Bone Screw -  Vitallium	12mm to 30mm in 2mm increments	$150.00

- 35mm to 50mm in 5mm

increments

HW072	Vitalock Acetabular System	System 12 liner -  Enhanced Polyethylene -  	22mm,26mm,28mm, 32mm ID	$1,160.00

For use with Vitalock Cups

HW073	Vitalock Acetabular System	30mm custom insert -  Enhanced Polyethylene	30mm ID	$1,160.00

-  For use with Vitalock Cups

HW075	Duracon Femoral Component - Cementless	Cruciate Retaining	Small, Medium, Medium-Large, 	$3,500.00

Large, Extra-Large

HW076	Duracon Femoral Component - Cemented	Cruciate Retaining	Small, Medium, Medium-Large, 	$3,400.00

Large, Extra-Large

HW077	Duracon Femoral Component - Cementless 	Cruciate Retaining	Small, Medium, Medium-Large, 	$4,000.00

with PA	Large, Extra-Large

HW080	Duracon Total Knee System	Monolithic Stabiliser -  Vitallium	Small, Medium, Medium-Large, 	$3,400.00

Large, Extra-Large

Prostheses List by Category and Sponsor	Page 273 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW082	Duracon Total Knee System	Augmentation Femoral Spacers -  Vitallium	5mm, 10mm	$1,576.00

HW084	Duracon Total Knee System	Augmentation Locking Screw -  Vitallium	5mm, 10mm	$184.00

HW085	Duracon Total Knee System	Augmentation Modular Stabiliser Box -  	Small, Medium, Medium-Large, 	$614.00

Vitallium	Large, Extra-Large

HW086	Duracon Total Knee System	Tibial Baseplate Cementless -  Vitallium	Small, Medium, Large, Extra-Large	$2,298.00

HW087	Duracon Total Knee System	Tibial Baseplate Cemented -  Vitallium	Small, Medium, Large, Extra-Large	$2,132.00

HW088	Duracon Total Knee System	Tibial Baseplate Cementless with PA -  	Small, Medium, Large, Extra-Large	$2,652.00

Vitallium with PA coating

HW091	Duracon Total Knee System	Tibial Insert - AP Lipped -  Polyethylene	Small, Medium, Large, Extra-Large 	$1,144.00

in each thickness 9mm, 11mm,

13mm, 16mm, 19mm, 22mm, 25mm

HW092	Duracon Total Knee System	Tibial Insert - Stabilised -  Polyethylene	Small, Medium, Large, Extra-Large 	$1,200.00

in each thickness 9mm, 11mm,

13mm, 16mm, 19mm, 22mm, 25mm

HW093	Duracon Total Knee System	Tibial Baseplate Universal - Cemented -  	Small, Medium, Large, Extra-Large	$2,345.00

Vitallium

HW094	Duracon Total Knee System	Tibial Baseplate Universal - Cementless -  	Small, Medium, Large, Extra-Large	$2,652.00

Vitallium

HW095	Duracon Total Knee System	Tibial Baseplate All Polyethylene -  	Small, Medium, Large, Extra-Large	$1,248.00

Polyethylene

HW097	Duracon Total Knee System	Tibial Baseplate Screw -  Vitallium	6.2mm diameter in 15mm, 20mm, 	$194.00

25mm, 30mm, 35mm, 40mm,

50mm, 55mm, 60mm lengths

HW098	Duracon Total Knee System	Augmentation Stem Extension Cementless -  	40mm, 80mm, 155mm lengths	$1,154.00

Vitallium

HW099	Duracon Total Knee System	Augmentation Tibial Wedge -  Vitallium	5mm, 10mm	$1,045.00

HW102	Duracon Total Knee System	Tibial Insert - Revision (crossover) -  	Small, Medium, Large, Extra-Large 	$1,217.00

Polyethylene	in each thickness 9mm, 11mm,

13mm, 16mm, 19mm, 22mm,

25mm, 28mm, 31mm

HW105	Duracon Total Knee System	Patella - all polyethylene   	Small, Medium, Large, Xlarge	$520.00

HW108	Duracon Total Knee System	Patella - Periapatite - Insert -  Polyethylene and	Small, Medium, Large, Xlarge	$764.00

Vitallium coated with PA

Prostheses List by Category and Sponsor	Page 274 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW110	Howmedica Modular Resection System	Total Knee Reconstruction	120mm, 140mm, 160mm	$18,967.00

HW140	Kinematic Rotating Knee	Patella -  Polyethylene	Small, Medium, Large	$520.00

HW141	HMRS Tibial Baseplate	Cobalt Chrome	Small, Medium, Large	$3,536.00

HW143	HMRS Femoral Component	Cobalt Chromium	Left, Right	$6,552.00

HW144	Kinematic Rotating Knee	Tibial Component -  Vitallium	Small and Medium 11mm/15mm 	$2,933.00

by 110mm/180mm

HW145	Kinematic Rotating Knee	Axles, Bumpers, Bushings -  Vitallium	One size only	$728.00

HW146	Kinemax Knee	Femoral: Condylar Beaded -  Vitallium	XS, S, M, L, XL, XXL	$2,652.00

HW147	Kinemax Knee	Femoral: Condylar Beadless -  Vitallium	XS, S, M, L, XL, XXL	$2,422.00

HW149	Kinemax Knee	Femoral: Stabilizer Beadless -  Vitallium	XS, S, M, L, XL, XXL	$2,756.00	Also grouped in Knee Group 11

HW153	Kinemax Knee Femoral Augmentation	Cobalt Chromium	5mm/10mm	$900.00

HW154	Kinemax Knee	Tibial Component: Beadless -  Vitallium	XS, S, M, L, XL	$1,772.00

HW160	Kinemax Knee	Tibial Insert: Low Stress, Duration -  Vitallium	8, 10, 12, 15, 18, 21, 25mm per 	$759.00

HW161	Kinemax Knee	Tibial Insert: Stabilizer -  Vitallium	8, 10, 12, 15, 18, 21, 25mm per 	$910.00

HW162	Kinemax Knee	Tibial Insert: All Poly, Duration -  Vitallium	8, 10, 12, 15, 18, 21mm per size	$759.00

HW167	Kinemax Knee	Tibial: Fixation Peg -  Vitallium	20mm	$333.00

HW168	Kinemax Knee	Tibial: Wedge Full -  Vitallium	10mm per size	$801.00

HW169	Kinemax Knee	Tibial: Wedge -  Vitallium	7.5mm per size	$504.00

HW170	Kinemax Knee	Tibial : Block -  Vitallium	5mm, and 10mm per size	$406.00

HW171	Kinemax Knee	Femoral/Tibial: Extension Stem -  Vitallium	40mm, 80mm, 155mm for each size	$790.00

HW174	Kinemax Knee	Tibial Insert: KMS -  Vitallium	8, 10, 12, 15, 18, 21, 25mm per 	$759.00

HW182	PCA Knee	Patella: All Poly -  Vitallium	Small, Medium, Large, Extra Large	$520.00

HW183	First Step High Tibial Osteotomy System	Proximal Component 5mm Step -  Vitallium	60 to 90mm in 5mm increments	$632.00

HW184	First Step High Tibial Osteotomy System	Proximal Component 10mm Step -  Vitallium	60 to 90mm in 5mm increments	$632.00

HW185	First Step High Tibial Osteotomy System	Proximal Component 15mm Step -  Vitallium	60 to 90mm in 5mm increments	$632.00

HW186	First Step High Tibial Osteotomy System	Distal Component -  Vitallium	30 to 55mm in 5mm increments	$1,004.00

HW187	First Step High Tibial Osteotomy System	Total Procedure -  Vitallium	60 to 90mm in 5mm increments  	$1,480.00

30mm to 55mm in 5mm increments

Prostheses List by Category and Sponsor	Page 275 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW188	Howmedica Modular Resection System	Growing Prosthesis -  Vitallium	Expandable prostheses -  Custom 	$26,429.00

made to child

HW189	Howmedica Modular Resection System	Femoral Head -  Vitallium	32mm in short, medium, long and 	$1,444.00

22mm, 26mm standard

HW190	Howmedica Modular Resection System	Femoral Head 26mm -  Vitallium	26mm	$656.00

HW191	Howmedica Modular Resection System	Proximal Femur -  Vitallium	120, 140, 160mm	$4,667.00

HW192	Howmedica Modular Resection System	Hex Screw -  Vitallium	16-30mm in 2mm increments and 	$37.00

35-70mm in 5m increments

HW193	Howmedica Modular Resection System	Distal Femur -  Vitallium	120, 140, 160mm	$6,980.00

HW194	Howmedica Modular Resection System	Femoral Joint -  Vitallium	One size only	$3,502.00

HW195	Howmedica Modular Resection System	Plug Screw -  Vitallium	One size only	$218.00

HW196	Howmedica Modular Resection System	Tibial Joint -  Vitallium	One size only	$5,553.00

HW197	Howmedica Modular Resection System	Proximal Tibia -  Vitallium	120mm, 140mm, 160mm	$6,346.00

HW198	Howmedica Modular Resection System	Patella -  Polyethylene	Small, Medium, Large	$743.00

HW199	Howmedica Modular Resection System	Circlip -  Vitallium	One size only	$74.37

HW200	Howmedica Modular Resection System	Plug Screw Axis -  Vitallium	One size only	$217.00

HW201	Howmedica Modular Resection System	Axis -  Vitallium	One size only	$572.00

HW202	Howmedica Modular Resection System	Wedge -  Vitallium	One size only	$211.00

HW203	Howmedica Modular Resection System	Bearing -  Vitallium	One size only	$178.00

HW204	Howmedica Modular Resection System	Extension Piece -  Vitallium	60mm, 80mm, 100mm	$3,871.00

HW205	Howmedica Modular Resection System	Straight Anchorage Piece -  Vitallium	11, 12, 13, 14, 15mm	$4,451.00

HW206	Howmedica Modular Resection System	Curved Anchorage Piece -  Vitallium	12, 13, 14, 15, 16, 17, 19mm	$4,451.00

HW207	Howmedica Modular Resection System	Connecting Piece -  Vitallium	One size only	$6,768.00

HW208	Howmedica Modular Resection System	Hex Socket Bolt -  Vitallium	One size only	$415.00

HW209	Howmedica Modular Resection System	Screw Jack -  Vitallium	One size only	$275.00

HW210	Howmedica Modular Resection System	Fixation Plate -  Vitallium	One size only	$462.00

HW211	Howmedica Modular Resection System	Barr Bolt -  Vitallium	51, 57, 64, 70, 76, 83mm	$93.24

HW212	Howmedica Modular Resection System	Barr Bolt Nut -  Vitallium	51, 57, 64, 70, 76, 83mm	$88.00

HW213	Howmedica Modular Resection System	Humeral Bearing -  Vitallium	One size only	$175.38

HW214	Howmedica Modular Resection System	Humeral Head Fixed -  Vitallium	One size only	$3,388.00

Prostheses List by Category and Sponsor	Page 276 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW215	Howmedica Modular Resection System	Humeral Head Rotating -  Vitallium	One size only	$4,526.00

HW216	Howmedica Modular Resection System	Distal Humerus Cone -  Vitallium	One size only	$4,580.00

HW217	Howmedica Modular Resection System	Distal Humerus Flange -  Vitallium	One size only	$4,347.00

HW218	Howmedica Modular Resection System	Humerus Connection Piece -  Vitallium	One size only	$4,122.00

HW219	Howmedica Modular Resection System	Humerus Connecting Screw -  Vitallium	One size only	$653.00

HW220	Howmedica Modular Resection System	Humerus Hex Socket Bolt -  Vitallium	One size only	$565.00

HW221	Howmedica Modular Resection System	Humerus Extension Piece -  Vitallium	5, 15, 30, 45, 60, 75, 90, 105, 120,	$5,243.00

135, 150, 165mm

HW222	Howmedica Modular Resection System	Humeral Anchorage Piece -  Vitallium	9, 10, 11, 12mm	$4,393.00

HW223	Howmedica Modular Resection System	Ulna Joint -  Vitallium	One size only	$3,783.00

HW224	Howmedica Modular Resection System	Humeral Axis -  Vitallium	One size only	$829.00

HW225	Howmedica Modular Resection System	Revision Bushing -  Vitallium	One size only	$211.00

HW226	Howmedica Modular Resection System	Revision Rings -  Vitallium	One size only	$984.00

HW227	Howmedica Modular Resection System	Rotating Hinge Distal Femur -  Vitallium	120, 140, 160mm	$8,433.00

HW228	Howmedica Modular Resection System	Rotating Hinge Axle -  Vitallium	One size only	$820.00

HW229	Howmedica Modular Resection System	Rotating Hinge Femoral Bushing -  Vitallium	One size only	$407.00

HW230	Howmedica Modular Resection System	Rotating Hinge Bumper -  Vitallium	Insert 0degree, 3degree, 5degree	$777.00

HW231	Howmedica Modular Resection System	Tibial Rotating Component -  Vitallium	One size only	$3,453.00

HW232	Howmedica Modular Resection System	Tibial Insert -  Polyethylene 	6, 10, 14mm	$2,070.00

HW233	Howmedica Modular Resection System	Tibial Sleeve -  Vitallium	One size only	$785.00

HW234	Howmedica Modular Resection System	Tibial Stemmed Tray -  Vitallium	One size only	$8,772.00

HW235	Howmedica Modular Resection System	Duration Plug Screw Axis -  Vitallium	One size only	$241.00

HW236	Howmedica Modular Resection System	Duration Femoral Bushing -  Vitallium	One size only	$495.00

HW237	Howmedica Modular Resection System	Duration Tibial Insert -  Polyethylene	6, 10, 14mm	$2,539.00

HW238	Howmedica Modular Resection System	Duration Tibial Sleeve -  Vitallium	10, 12, 13, 14, 15, 16, 17, 19mm	$1,128.00

HW239	Howmedica Modular Resection System	Duration Bumper -  Vitallium	One size only	$997.00

HW240	Howmedica Modular Resection System	Duration Wedge -  Vitallium	One size only	$258.00

HW241	Howmedica Modular Resection System	Duration Bearing -  Vitallium	One size only	$199.00

HW242	Howmedica Modular Resection System	Duration Fixation Plate -  Vitallium	One size only	$508.00

Prostheses List by Category and Sponsor	Page 277 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW243	Howmedica Modular Resection System	Duration Screw Jack -  Vitallium	One size only	$311.00

HW244	Howmedica Modular Resection System	Oncology Proximal Femur -  Vitallium	26mm, 28mm head with 70mm 	$5,804.00

segment

HW245	Howmedica Modular Resection System	Oncology Distal Femur Condyle -  Vitallium	Small, Standard	$7,095.00

HW246	Howmedica Modular Resection System	Oncology Femoral Body -  Titanium	Standard Diametre 40-220mm in 	$3,689.00

20mm increments and small

diameter 40-160mm in 20mm

increments

HW247	Howmedica Modular Resection System	Oncology Femoral Stem -  Vitallium	127mm and 203mm length 11, 13, 	$3,847.00

15, 17mm diameter

HW248	HMRS Tibial Insert	Polyethylene	Extra Small, Small, Medium, 	$2,127.00

Large, Extra Large

HW249	Howmedica Modular Resection System	Oncology Proximal Tibia -  Vitallium	95mm segment	$7,252.00

HW250	Howmedica Modular Resection System	Oncology Tibial Stem -  Vitallium	127mm in 9, 11, 13mm diameter	$3,757.00

HW251	Howmedica Modular Resection System	Oncology Tibial Insert -  Polyethylene	Small and Medium in 11, 13, 16, 	$1,648.00

21mm

HW252	Howmedica Modular Resection System	Oncology Duration Tibial Insert -  Polyethylene	Small and Medium in 11, 13, 16, 	$1,790.00

21mm

HW253	Howmedica Modular Resection System	Oncology Duration Tibial Plug -  	One size only	$1,847.00

Polyethylene

HW254	HMRS Oncology Humeral Head/Cap	Cobalt Chromium	40, 44mm, Cap	$4,260.00

HW255	Howmedica Modular Resection System	Oncology Humeral Body -  Titanium	40 - 140mm in 20mm increments	$2,827.00

HW256	HMRS Oncology Humeral Stem	Cobalt Chromium	7x75mm, 7x115mm, 9x75mm, 	$4,778.00

9x115mm, 11x115mm,

25mmx75mm, 25mmx100mm,

50mmx75mm,

50mmx100mm,75mmx100mm,

100mmx50mm

HW257	Wichita Fusion Nail System	Femoral Component -  Vitallium	18mm	$2,690.00

HW258	Wichita Fusion Nail System	Tibial Component -  Vitallium	12mm	$1,695.00

HW259	Wichita Fusion Nail System	Compression Screw -  Vitallium	One size only	$1,152.00

HW260	Wichita Fusion Nail System	Transverse Screw -  Vitallium	30-60mm in 5mm increments	$181.00

HW274	Alta Modular Trauma System - Components	Cortical Screw/Screw Nut Assembly - 	5mm	$280.00

Titanium

Prostheses List by Category and Sponsor	Page 278 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW294	Alta Modular Trauma System - Components 	Washer - Cancellous Screw -  Titanium	One size only	$103.00

Screws

HW295	Asnis Guided Screw System	Screw, Stainless Steel	35-130mm	$140.00

HW296	Asnis Guided Screw System	Screw -  Titanium	4, 5, 6.5,8mm	$155.00

HW297	Asnis Guided Screw System	Guide Pin, Stainless Steel	1.4,2.0,3.2mm	$60.00

HW298	Asnis Guided Screw System	Washer, Stainless Steel	One size only	$39.00

HW299	Asnis Guided Screw System	Washer -  Titanium	4, 5, 6.5,8mm	$46.00

HW300	Dall Miles Cable Grip System - Stainless 	Stainless Steel: Cable -  Stainless Steel	1.6 and 2mm 	$250.00

HW301	Dall Miles Cable Grip System - Stainless 	Stainless Steel: Sleeve -  Stainless Steel	1.6 and 2mm 	$195.00

HW302	Dall Miles Cable Grip System - Stainless 	Stainless Steel: Trochanter Grip -  Stainless 	Small, Medium, Large	$545.00

Steel

HW303	Dall Miles Cable Grip System - Stainless 	Stainless Steel: Cable & Sleeve -  Stainless 	1.6 and 2mm 	$360.00

Steel

HW304	Dall Miles Cable Grip System - Stainless 	Stainless Steel: Cable & Sleeve Beaded -  	1.6 and 2mm 	$330.00

Stainless Steel

HW305	Dall Miles Cable Grip System - Stainless 	Stainless Steel Plate:5 hole -  Stainless Steel	6 inches	$640.00

HW306	Dall Miles Cable Grip System - Stainless 	Stainless Steel Plate:7 hole -  Stainless Steel	8 inches	$804.00

HW307	Dall Miles Cable Grip System - Stainless 	Stainless Steel Plate:9 hole -  Stainless Steel	10 inches	$819.00

HW308	Dall Miles Cable Grip System - Stainless 	Stainless Steel Plate:11 hole -  Stainless Steel	12 inches	$866.00

HW309	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable -  Vitallium	1.6 and 2mm	$355.00

HW310	Dall Miles Cable Grip System - Vitallium	Vitallium: Sleeve -  Vitallium	1.6 and 2mm	$225.00

HW311	Dall Miles Cable Grip System - Vitallium	Vitallium: Trochanter Grip -  Vitallium	Small, Medium and Large	$545.00

HW312	Dall Miles Cable Grip System - Vitallium	Vitallium: Mini Cleat. Vitallium	One size only	$320.00

HW313	Dall Miles Cable Grip System - Vitallium	Vitallium: Grooved Button -  Vitallium	One size only	$240.00

HW314	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Grip Combined -  	1.6 and 2mm	$555.00

Vitallium

HW315	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve -  Vitallium	1.6 and 2mm	$570.00

HW316	Dall Miles Cable Grip System - Vitallium	Vitallium: Cable and Sleeve Beaded -  Vitallium	1.6 and 2mm	$155.00

HW317	Rutherford Staple	Ellison Arched Staple, Vitallium	9,12,15mm x 23mm	$177.00

HW318	Rutherford Staple	Ellison Flat Staple, Vitallium	8,11,14 x 23mm	$135.00

Prostheses List by Category and Sponsor	Page 279 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW319	Rutherford Staple	Ellison Soft Tissue Retainer,  Vitallium	8,11,14mm 	$125.00

HW320	Antibiotic Simplex Bone Cement with 	Polymethyl Methacrylate, Styrene Copolymer,	40 grams	$215.00

Tobramycin	 Barium Sulfate

HW321	Antibiotic Simplex Bone Cement	Erythromycin and Colistin -  Polymethyl 	40 grams	$184.00

Methacrylate, Styrene Copolymer, Barium

Sulfate

HW322	Surgical Simplex P Radiopaque Bone Cement	Polymethyl Methacrylate, Styrene Copolymer,	40 grams	$137.00

Barium Sulfate

HW328	Howmedica Dynamic Joint Distractor	Complete Straight Body Frame -  Stainless 	One size only	$4,070.00

Steel

HW330	Omega Plus Compression Hip Screw System	Hip Sideplate - Standard Barrel -  Stainless 	2,3,4,5 hole 130-150 degrees	$350.00

Steel

HW331	Omega Plus Compression Hip Screw System	Hip Sideplate - Short Barrel -  Stainless Steel	6,8,10,12 hole 130-150 degrees	$675.00

HW332	Omega Plus Compression Hip Screw System	Supracondylar Sideplate -  Stainless Steel	6,8,10,12,14 holes	$570.00

HW333	Omega Plus Compression Hip Screw System	Lag Screw - Standard -  Stainless Steel	50-130mm length 	$195.00

HW334	Omega Plus Compression Hip Screw System	Lag Screw - Super -  Stainless Steel	50-130mm length 	$260.00

HW335	Omega Plus Compression Hip Screw System	Compression Screw -  Stainless Steel	25mm length	$50.00

HW336	Omega Plus Compression Hip Screw System	Cortical -  Stainless Steel	4.5mm dia	$19.00

HW337	Omega Plus Compression Hip Screw System	Cancellous -  Stainless Steel	6.5mm dia	$50.00

HW338	Gamma Locking Nail	Gamma Complete -  Orthinox	125,130,135 degrees x 180mm length	$92.00

HW341	Gamma Locking Nail	Long Nail -  Orthinox	125,130,135 degrees x 340-440mm 	$939.00

length

HW342	Gamma Locking Nail	Distal Screw -  Orthinox	25-95mm length	$110.00

HW343	Gamma Locking Nail	Lag Screw -  Orthinox	85-120mm length	$203.00

HW344	Gamma Locking Nail	Set Screw -  Orthinox	8mm dia x 22-27 mm length	$86.00

HW345	Gamma Locking Nail	Proximal Plug -  Orthinox	17mm	$100.00

HW346	Grosse & Kempf Locking Nail	Femoral - Rods and Screws -  Stainless Steel	10,11,12,13,14,15, 16mm width, 	$627.00

260-380mm length

HW347	Grosse & Kempf Locking Nail	Tibial - Rods and Screws -  Stainless Steel	7.5,9,10,11,12,13, 14,15mm width,	$567.00

240-375mm length

HW348	Grosse & Kempf Locking Nail	Unreamed -  Stainless Steel	7.5mm dia,  240 - 390mm length	$549.00

Prostheses List by Category and Sponsor	Page 280 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW349	Grosse & Kempf Locking Nail	Cross Screw -  Stainless Steel	6.28mm  x 15-95mm	$131.00

HW350	Grosse & Kempf Locking Nail	Cross Screw -  Stainless Steel	3.7mm x 25-70mm	$99.00

HW354	Metaizeau Nail	Stainless Steel	2-4mm x 400-500mm	$160.00

HW368	Osteo Kirschner Wire	K wire -  Stainless Steel	Diameter 1.0 - 2.0mm	$11.00	To be funded where any or all K-

wires used in a procedure are used as

an implant.

HW373	Howmedica Mainstay Soft Tissue Anchor	With suture - Titanium	4.5 anchor with #2 and #5 suture, 	$190.00

2.7 anchor with #0 suture

HW374	Howmedica Mainstay Soft Tissue Anchor	Without suture - Titanium	4.5, 3.5 and 2.7 anchor	$152.00

HW375	Howmedica Mainstay Soft Tissue Anchor	Zip anchor - Titanium	Sip 4.5 anchor with #5 suture and 	$257.00

#2 suture 2 strands, zip 3.5 anchor

with #2 suture and #0 suture 2

strands, zip 2.7 anchor with #0 suture

HW376	Profyle - Hand and Small Fragment System	Condylar Plates - Titanium	1.7mm, 2.3mm	$190.00

HW377	Souter Strathclyde Elbow	Humeral - Long stem, left and right	Medium, Large	$2,665.00

HW378	Souter Strathclyde Elbow	Ulnar - Retentive, non retentive	50 - 90mm (Non), 70 - 90mm 	$1,670.00

(Retentive)

HW379	Souter Strathclyde Elbow	Revision Humeral  - Custom, Long Stem	A, B, C, D	$8,942.00

HW380	Souter Strathclyde Elbow	Revision Ulnar - Custom, Long stem	Small, Medium	$4,425.00

HW381	Radial Head Prostheses	Radial Head - Small, Medium, Large	8 - 15mm	$2,245.00

HW395	V40 Orthinox Head	Stainless Steel	>32mm	$811.00

HW396	Duracon Femoral Component - Cemented	Posterior Stabilised	Small, Medium, Medium-Large, 	$3,400.00

Large, Extra-Large

HW397	Duracon Femoral Component - Cementless	Posterior Stabilised	Small, Medium, Medium-Large, 	$3,500.00

Large, Extra-Large

HW398	Duracon Femoral Component - Cementless 	Posterior Stabilised	Small, Medium, Medium-Large, 	$4,000.00

with PA	Large, Extra-Large

HW399	Definition PM Femoral Component	Femoral Stem -  Vitallium	Stem sizes 1 - 7	$2,080.00

HW401	Kinemax Knee	Femoral: Condylar Beaded -  Vitallium	XS, S, M, L, XL, XXL	$3,442.00

HW402	Exeter Hip System	Stem: Standard - Orthinox	Sizes 0-6, Offsets 35 - 5, 37 - 5, 44, 	$2,392.00

50mm

Prostheses List by Category and Sponsor	Page 281 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

HW403	Exeter Hip System	Exeter Duration Cup - Enhanced Polyethylene 	OD: 40-60mm, ID: 22, 26, 28, 30	$854.00

- Low and High Profile

Johnson & Johnson Medical Pty Ltd

JJ002	Meniscal Screw	Bioabsorbable Poly Lactic Acid	$251.42

JJ024	Cross Pin	-	6.5mm x 40, 50mm lengths	$455.00

JJ071	Mitek Kurosaka Advantage Fixation Screw	Titanium Screw Cannulated - Advantage	7 & 9mm x (15 to 40mm)	$169.00

JJ072	Mitek Kurosaka Fixation Screw	Titanium Screw Cannulated - Profile	7,8 & 9mm x (20 to 30mm)	$169.00

JJ073	Mitek Phantom Screw - Absorbable 	Polylactic acid Bioabsorbable Screw	7,8 & 9mm x (20 to 30mm)	$230.00

JJ075	Mitek Ligament Anchor 	Titanium anchor	6mm x (15 to 25mm)	$440.00

JJ076	Mitek Ethibond Knotless Suture Anchor	Titanium anchor	2.7 x 10.8 mm	$385.00

JJ077	Mitek Polypropylene Meniscus Fastner	Polypropylene anchor	6 & 8mm x 4mm 	$248.00

JJ078	Rigidfix ACL Cross Pin System 	Polylactic acid pin	2.7 & 3.3mm x 42mm	$465.00

JJ079	Mitek Cancellous Screw Low Profile	Titanium screw	4.5mm x (26 to 76mm)	$162.00

JJ080	Mitek Cancellous Screw Low Profile	Titanium screw	6.5mm x (25 to 55mm)	$162.00

JJ081	Mitek Soft Tissue Washer	Titanium washer	14mm, 17mm & 20mm	$240.00

JJ082	Mitek Mini Anchor Threader Tab	Titanium Suture Anchor	1.8 x 5.4mm	$287.00

JJ083	Mitek GII Anchor Threader Tab	Titanium Suture Anchor	2.4 x 8.8mm	$287.00

JJ084	Mitek Rotator Cuff Anchor Threader Tab	Titanium Suture Anchor	2.8 x 11mm	$287.00

JJ085	Mitek Super Anchor Threader Tab to bone	Titanium Suture Anchor	2.8 x 11.4mm	$287.00

JJ086	Mitek Tacit Anchor Threader Tab	Titanium Suture Anchor	2.0 x 3.6mm	$251.00

JJ087	Mitek Tacit Quick Anchor 	Titanium Suture Anchor	2.0 x 3.6mm	$255.00

JJ089	Mitek GII QuickAnchor Plus 	Titanium Anchor, with various sutures	2.4 x 8.8mm	$346.22

JJ091	Mitek Mini QuickAnchor Plus 	Titanium Suture Anchor	1.8 x 5.4mm	$345.00

JJ093	Mitek Rotator Cuff Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11mm	$345.00

JJ095	Mitek Super Quick Anchor Plus 	Titanium  Anchor, with various sutures	2.8 x 11.4mm	$345.00

JJ096	Mitek Fastin Anchor 	Titanium Suture Anchor	3 x 8.4mm, 4 x 9.7mm, 5.2 x 	$281.00

11.5mm

JJ097	Mitek Fastin RC Anchor 	Titanium Anchor, with various sutures	5 x 13.5mm	$281.00

JJ098	Panalok RC Quick Anchor Plus 	Polylactic acid absorbable anchor	2.9 x 11.0mm	$436.75

JJ099	Panalok Absorbable Anchor 	Polylactic acid absorbable anchor	4.1 x 6.0mm	$435.00

Prostheses List by Category and Sponsor	Page 282 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ100	Micro Quick Anchor 	Titanium Suture Anchor	1.3 x 3.7mm	$289.00

JJ124	Intrafix Tibial Sheath	High density polyethylene sheath	7 to 10mm x (15 to 30mm)	$272.00

JJ125	Intrafix Tibial Tapered Screw	Plastic tapered screw	6 to 10mm x (15 to 30mm)	$285.66

JJ126	Contack Fastener	Polylactic acid tack	(3.5 to 7.5mm) x11.5mm	$447.14

JJ127	Absolute Absorbable Interference Screw 	Polylactic acid screw	7 to11mm x (23 to 30mm)	$230.00

JJ128	Cuff Link 	High density plastic link	8mm	$579.00

JJ231	Bioknotless Anchor	Anchor composition is PLLA	Dia 3.9mm, length 9mm	$435.00

JJ232	Cufftack rotator cuff anchor	Composition of anchor is a) tack - abosorbable 	Anchor diameter 4.5mm, length 	$434.50

PLA b) pin - absorbable L PLA c) sleeve - 	23mm

Prolene

JJ233	Panalok RC QuickAnchor Plus DS Panacryl 	Anchor composed of PLA, Suture composed of	Anchor diameter 2.9mm, length 	$432.00

Suture	 PLA and PGA	11mm

JJ234	Panalok RC QuickAnchor Plus DS Ethibond 	Anchor composed of PLA, Suture composed of	Anchor diameter 2.9mm, length 	$432.00

Suture	 polyester	11mm

JJ307	Rapidloc Meniscal Repair PLA Tophat with 	Composition: PLA Implant and Ethibond 	2/0	$253.48

Ethibond Suture	Suture, non absorbable suture

JJ308	Rapidloc Meniscal Repair PLA Tophat with 	Composition: PLA Implant and Panacryl 	Straight needle, 12 degree curved 	$253.48

Panacryl Suture	Suture	needle, 27 degree curved needle

JJ337	Biocryl - TCP/PLA Interference Screw	Composition - Tricalcium Phosphate & 	7x23mm; 7x30mm; 8x23mm; 	$303.00

Polylactic Acid	8x30mm, 9x23mm; 9x30mm;

10x23mm; 10x30mm; 11x30mm

JJ420	MiniLok Quick Anchor Plus with Ethibond	Anchor composition is PLA	MiniLok Quick Anchor Plus # 0 	$438.00

Suture OS-2 Needles; MiniLok

Quick Anchor Plus # 2/0 Suture V5

Needles

JJ421	MicroFix Quick Anchor Plus with Ethibond 	Anchor composition is PLA	MicroLok Quick Anchor Plus with 	$438.00

Suture	3/0 Ethibond Suture and V4

Needles; MicroLok Quick Anchor

Plus 4/0 Ethibond Suture and C1

Needles; MicroLok Quick Anchor

Plus with 4/0 Ethibond and P3

Needles

JJ422	MiniLok Quick Anchor Plus with Panacryl	Anchor composition is PLA	MiniLok Quick Anchor Plus # 2/0 	$432.00

Suture RB1 Needles

Prostheses List by Category and Sponsor	Page 283 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ424	Panalok RC Loop Anchor with Ethibond 	Anchor composition is PLLA	One size only	$439.60

Suture

JJ425	Panalok RC Loop Anchor with Panacryl 	Anchor composition is PLLA	One size only	$439.60

Suture

JJ426	Bioknotless RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	$439.60

JJ427	Lupine Loop Anchor with Panacryl or 	Anchor composition is PLLA	One size only	$439.60

Orthocord

JJ428	BioFastin RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	$439.60

JJ429	Bioknotless RC Anchor with Ethibond Suture	Anchor composition is PLLA	One size only	$439.60

JJ430	BioFastin RC Anchor with Panacryl Suture	Anchor composition is PLLA	One size only	$439.60

JJ431	Lupine Loop Anchor with Ethibond	Anchor composition is PLLA	One size only	$439.60

JJ457	Spiralok Absorbable Dual Eyelet Threaded 	Spiralok is an absorbable threaded Anchor 	Diameter 5mm x Length 30mm; 	$488.00

Suture Anchor with Panacryl (with needles)	made from PLA with Panacryl absorbable 	Diameter 6.5mm x Length 30mm

suture.

JJ458	Spiralok Absorbable Dual Eyelet Threaded 	Spiralok is an absorbable threaded Anchor 	Diameter 5mm x Length 	$493.00

Suture Anchor with Ethibond (without 	made from PLA with Ethibond non-absorbable	30mm;Diameter 6.5mm x Length

needles)	 polyethylene suture.	30mm

JJ460	Spiralok Absorbable Dual Eyelet Threaded 	Made from PLA with Ethibond non-absorbable	Diameter 5mm x Length 30mm; 	$487.11

Suture Anchor with Ethibond (with needles)	 polyethylene suture	diameter 6.5mm x Length 30mm

JJ461	RapidLoc Meniscal Repair System with PDS	PLA (absorbable) backstop and PDS 	One size only	$256.72

(absorbable) top hat and Panacryl absorbable

suture connecting the top hat and backstop

JJ464	Divide Absorbable Adhesion Barrier	Oxidised regenerated cellulose	3.8 x 5.1cmm	$205.00

JJ471	Spiralok Absorbable Dual Eyelet Threaded 	Made from PLA with Panacryl absorbable 	Diameter 5mm x Length 30mm; 	$488.00

Suture Anchor with Panacryl (without needles)	suture	Diameter 6.5mm x Length 30mm

JJ472	BioKnotless Anchor with Ethibond	PLA absorbable material with a non-absorbable	Single Implant: Length 11mm, 	$493.00

braided Ethibond polyethylene suture	Diameter 2.9mm

JJ473	BioIntrafix Tibial Soft Tissue Fastener (Screw)	Absorbable composite (TCP/PLA) fixation 	6-8mm, 7-9mm, 8-10mm by 30mm	$350.00

device (screw) used in conjunction with a 	 Length

sheath for the repair of ACL Soft Tissue Graft

JJ483	SPIRALOK Absorbable Dual Eyelet Threaded 	Absorbable threaded anchor, PLA with 	5mm, 6.5mm	$480.00

Suture Anchor with Orthocord Suture	Orthocord suture

Prostheses List by Category and Sponsor	Page 284 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ484	MILAGRO (TCP/PLGA) Interference Screw	MILAGRO (TCP/PLGA) Interference ACL 	7mm x 23mm, 7mm x 30mm, 	$375.00	$450.00

Screw System	8mm x 23mm, 8mm x 30mm,

9mm x 23mm, 9mm x 30mm,

9mm x 35mm, 10mm x 23mm,

10mm x 30mm, 10mm x 35mm,

11mm x 30mm, 11mm x 35mm,

12mm x 30mm, 12mm x 35mm

JJ508	PFC Sigma Stab X-Linked Insert	PFC Sigma Stab X-Linked Inserts	Size 2 - 8mm, 10mm, 12.5mm, 	$1,073.00

15mm, 17.5mm, 20mm, 22.5mm,

25mm; Size 2.5 - 8mm, 10mm,

12.5mm, 15mm, 17.5mm, 20mm,

22.5mm, 25mm; Size 3 - 8mm,

10mm, 12.5mm, 15mm, 17.5mm,

20mm, 22.5mm, 25mm; Size 4 -

8mm, 10mm, 12.5mm, 15mm,

17.5mm, 20mm, 22.5mm, 25mm;

Size 5 - 8mm, 10mm, 12.5mm,

15mm, 17.5mm, 20mm, 22.5mm,

25mm

JJ509	PFC Sigma Curved X-Linked Insert	PFC Sigma Curved X-Linked Inserts	Size 2 - 8mm, 10mm, 12.5mm, 	$1,136.00

15mm, 17.5mm, 20mm; Size 2.5 -

8mm, 10mm, 12.5mm, 15mm,

17.5mm, 20mm; Size 3 - 8mm,

10mm, 12.5mm, 15mm, 17.5mm,

20mm; Size 4 - 8mm, 10mm,

12.5mm, 15mm, 17.5mm, 20mm;

Size 5 - 8mm, 10mm, 12.5mm,

15mm, 17.5mm, 20mm

JJ510	PFC Sigma Modular Tibial Tray Cemented - 	PFC Sigma CoCr Tray with highly polished 	Size 2, 2.5, 3, 5, 6	$2,118.00

CoCr	surface cemented

JJ511	Skyline Cervical Plate System	Skyline anterior cervical plate.  Various size 	Size 12-105mm	$2,685.00

plates. Titanium

JJ512	Skyline Cervical Plate System	Skyline anterior cervical screw, titanium	Self drilling 3.8mm, 10-18mm	$850.00

JJ513	Skyline Cervical Plate System	Skyline anterior cervical screw. Titanium	Self tapping 3.8mm, 10-18mm	$850.00

JJ514	Skyline Cervical Plate System	Skyline anterior cervical screw.  Titanium	Self Tapping 4.3mm, 10-18mm	$850.00

JJ515	Skyline Cervical Plate System	Skyline anterior cervical screw.  Titanium	Bi-cortical 10-18mm	$850.00

JJ516	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	30 - 60mm, 10 degrees	$3,200.00

JJ517	X-Tenz Lordotic Cage	X-tenz Lordotic Cage, Titanium	30 - 60mm, 0 degrees	$3,200.00

Prostheses List by Category and Sponsor	Page 285 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ518	AEGIS ALP	AEGIS ALP Curved Anterior Plate, Titanium	4 - 13mm	$2,685.00

JJ519	AEGIS ALP	AEGIS ALP Bone Screws, Titanium	4mm x 24-36mm	$850.00

JJ520	CONCORDE Spine System	CONCORDE Parallel Carbon Fibre Body 	7 - 13mm	$4,133.00

Fusion Device

JJ521	CONCORDE Spine System	CONCORDE Lordotic Carbon Fibre Body 	7 - 13mm	$4,139.00

Fusion Device

JJ522	VIPER Spine System	Viper Polyaxial Screw, Titanium	5, 6 or 7mm diameter x 25-55mm 	$1,550.00

length

JJ523	VIPER Spine System	Viper Pre-lordosed Rod, Titanium	35 - 70mm	$340.00

JJ524	VIPER Spine System	Viper Single Innie Set Screw	One size	$658.00

JJ525	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Plate.  Various size 	Level 1 Size 12 - 26mm	$2,585.00

plates.  Titanium

JJ526	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Plate.  Various size 	Level 2 Size 28 - 42mm	$2,635.00

plates.  Titanium

JJ527	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Plate.  Various size 	Level 3 Size 42 - 60mm	$2,685.00

plates.  Titanium

JJ528	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Screw.  Titanium	Self Drilling 3.8mm 10 - 18mm	$850.00

JJ529	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Screw.  Titanium	Self-Tapping 3.8mm 10-18mm	$850.00

JJ530	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Screw.  Titanium	Self Tapping 4.3mm 10 - 18mm	$850.00

JJ531	EAGLE Anterior Cervical Plate	Eagle Anterior Cervical Screw.  Titanium	Bi-cortical 10 - 18mm	$850.00

JJ532	LCS Complete Revision System	LCS Complete Revision VVC insert	small-large+, 10 - 25mm	$1,900.00

JJ548	DELTA Xtend	Monobloc Humeral Cemented Epiphysis 	1 + 2  8, 10, 12, 14mm	$6,800.00

Standard

JJ549	DELTA Xtend	Monobloc Humeral Cemented Epiphysis 	1 + 2  8, 10, 12, 14mm	$7,750.00

Revision

JJ550	DELTA Xtend	Modular Humeral Diaphysis	10, 12, 14, 16mm	$4,000.00

JJ551	DELTA Xtend	Modular Centered Epiphysis	1 + 2	$2,436.00

JJ552	DELTA Xtend	Modular Eccentric Epiphysis Size 1 Right HA	1 + 2 Left + Right	$2,482.00

JJ553	DELTA Xtend	High Mobility Humeral PE Cup	38 + 42;  3, 6, 9mm	$1,280.00

JJ554	DELTA Xtend	Delta Xtend CTA Head Dia 48 x 21mm	48 + 52; 21, 26mm	$5,520.00

JJ555	DELTA Xtend	Eccentric Glenosphere	38 + 42	$2,375.00

JJ556	DELTA Xtend	Standard Glenosphere	38 + 42	$2,290.00

Prostheses List by Category and Sponsor	Page 286 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ557	DELTA Xtend	Non Locking Metaglene Screw Dia 4.5	4.5mm; 18, 24, 30, 36, 42	$215.00

JJ558	DELTA Xtend	Locking Metaglene Screw Dia 4.5	4.5mm; 24, 30, 36, 42, 48	$276.00

JJ559	DELTA Xtend	Standard Humeral PE Cup	38 + 42;  3, 6, 9mm	$815.00

JJ560	DELTA Xtend	Retentive Humeral PE Cup	38 + 42; 6mm	$815.00

JJ561	DELTA Xtend	Humeral Spacer	9mm	$1,420.00

JJ562	DELTA Xtend	Metaglene	$2,096.00

JJ563	DELTA Xtend	Revision Metaglene	$2,508.00

JJ570	Engage Modular Hip System	Proximal Body, short stem	45mm x 105mm	$2,860.00	$6,200.00

JJ571	Engage Modular Hip System	Distal Stem	15-27mm x 140-290mm	$6,500.00	$7,990.00

JJ572	Engage Modular Hip System	Proximal Body, long stem	45mm x 105mm	$4,846.00	$6,200.00

JJ573	Summit Cemented Hip Stem	Cemented CoCr Standard and High Offset	Size 2-8 Standard, 3-8 High offset	$1,850.00	$2,300.00

JJ574	ASR XLAnatomic (ASR XLA)	ASR XL Anatomic Head	39-63	$2,392.00	$4,300.00

JJ575	ASR XLAnatomic (ASR XLA)	ASR XLA +4/+8 Sleeve 12-14	-3.5 to +15.5	$260.00	$1,900.00

JJ577	SmartSet GMV Endurance Medium Viscosity 	PMMA, Styrene Copolymer Bone Cement 	40 Gram	$215.00

Antibiotic Bone Cement	With Gentamicin

JJ578	SmartSet GHV High Viscosity Antibiotic 	Methyl Methacrylate, Methyl Acrylate  	40 Gram	$229.00

Bone Cement	Copolymer Bone Cement With Gentamicin

JJ580	SmartSet HV High Viscosity Bone Cement	Methyl Methacrylate, Methly Acrylate 	40 Gram	$215.00

Copolymer Bone Cement

JJ581	SmartSet MV Endurance Medium Viscosity 	PMMA, Styrene Copolymer Bone Cement	40 Gram	$137.00

Bone Cement

JJ582	SmartMix Cemvac Prefilled Syringe & 	SmartMix Vacuum Mixing System Preloaded 	60g to 100g	$484.00

SmartMix Prefilled Bowl	With Non Antibiotic Bone Cement

JJ583	SmartMix Cemvac Perfilled Syringe & 	SmartMix Vacuum Mixing System Preloaded 	60g to 100g	$500.00

SmartMix Prefilled Bowl With Antibiotic 	With Antibiotic Bone Cement

Cement

JJ584	Femoral Prep Kit	Femoral Preparation Kit	One size only	$225.00

Link Orthopaedic  Australia

LO001	Star (cemented)	Talar Component	Small , medium & large	$1,967.00

LO002	Star (cemented)	Tibial Component	Small, medium & large	$1,587.00

LO003	Star (cemented)	Polyethylene Sliding Core	6- 10 mm	$555.00

Prostheses List by Category and Sponsor	Page 287 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO004	Hydroxyapatite Coated (Hac)	Talar Component	Extra extra small, extra small, 	$2,425.00

small, medium & large

LO005	Hydroxyapatite Coated (Hac)	Tibial Component	Extra small, small, medium, large 	$1,915.00

& extra large

LO006	Revision Tibial Component	-	Extra small, small, medium, large 	$2,204.00

and extra large

LO008	LINK Elbow Prosthesis	Small, medium & large	$5,247.00

LO009	LINK Saddle Prosthesis Saddle Prosthesis	Saddle Component	One size only	$4,976.00

LO010	LINK Saddle Prosthesis Saddle Prosthesis	Base Component	60 - 160mm	$3,909.00

LO011	LINK Saddle Prosthesis Saddle Prosthesis	Set Screw for Base Component	One size only	$205.00

LO012	LINK Saddle Prosthesis Saddle Prosthesis	Stem	14 - 25mm x 210, 250, 290 & 	$2,250.00

330mm; 12 x 160, 180, 210, 250 -

MP; 14 x 160, 180 - MP; 16 x 160,

180 - MP; 18 x 160, 180 - MP; 20

x 160, 180 - MP; 22.5 x 160, 180

MP; 25 x 160, 180 - MP

LO013	Link McMinn Acetabular Reconstruction Cup 	Cementless Cup HAC Coated	45 - 55 mm	$3,744.00

System

LO014	Link McMinn Acetabular Reconstruction Cup 	Polyethylene Insert	45 - 55 mm	$756.00

System

LO015	LINK Lubinus SP Hip Prosthesis	Stem	Left & right 01-5	$2,250.00

LO018	LINK Lubinus SP Hip Prosthesis	Cup: Muller	44 - 58mm, 40mm	$553.00

LO019	LINK Lubinus SP Hip Prosthesis	Eccentric	44 - 58mm	$718.00

LO020	Waldemar Link MP Reconstruction Hip 	Neck Segment Assembly	35-65mm IN 126 & 135 degrees	$3,120.00

Prosthesis

LO021	Waldemar Link MP Reconstruction Hip 	Stem	14 - 25mm x 210, 250, 290 & 	$3,120.00

Prosthesis	330mm; 12 x 160, 180, 210, 250 -

MP; 14 x 160, 180 -MP; 16 x 160,

180 - MP; 18 x 160, 180 - MP; 20

x 160, 180 - MP; 22.5 x 160, 180 -

MP; 25 x 160, 180 - MP

LO022	Link Prosthesis Head	Head:Chrome Cobalt	Short, medium-short, medium & 	$749.00

large

LO023	Link Prosthesis Head	Biolox Ceramic	Short, medium-short & large 	$1,456.00

LO024	Fixation Screw with Locking Bolt	-	38 & 58 mm	$463.00

Prostheses List by Category and Sponsor	Page 288 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO025	Prostheses, Femoral Head	-	35-65mm IN 126 & 135 degrees	$2,860.00

LO026	Proximal Spacer Rings	-	10mm - 40mm	$416.00

LO028	LINK Partial Pelvis Replacement	Partial Pelvis Replacement (left/right)	48-67mm	$3,848.00

LO029	LINK Partial Pelvis Replacement	Partial Pelvis Replacement (left/right) with 	48-67mm	$4,056.00

additional Caudal Flange

LO030	LINK Partial Pelvis Replacement	Hook for Obturator Foramen Width 	6-12mm	$678.00

LO031	LINK Endo-Model Partial Pelvis Replacement	Fixation Screws, for Obturator Foramen, 	20mm - 35mm; four (4) sizes	$193.00

including screw lock

LO032	CFP Cup ( TOP CUP)	-	40 - 68mm	$2,100.00

LO033	CFP Insert( TOP INSERT)	-	40 - 68mm	$613.00

LO034	CFP Hip Stem	A, B, left and right; titanium/ HA	Extra small to Extra Large	$5,384.00

LO036	Vario Cup	-	44-65mm	$1,456.00

LO037	Gemini MkII Knee Joint Prostheses System	Femoral component, Standard, Microporous	Extra Small - Extra Large	$3,116.00

LO038	LINK Endo Model Rotational Knee System	Intracondylar Total Rotation Knee Joint: 	Small, medium & large	$12,289.00

Without Patella Flange

LO039	LINK Endo Model Rotational Knee System	Intracondylar Total Rotation Knee Joint: With	Small, medium & large	$13,241.00

Patella Flange

LO040	LINK Endo Model Rotational Knee System	Intracondylar total rotation knee join with Anti	Small, medium & large	$13,541.00

Lux device: without patella flange

LO041	LINK Endo Model Rotational Knee System	Intracondylar total rotation knee join with Anti	Small, medium & large	$17,001.00

Lux device: with patella flange

LO042	LINK Endo Model Rotational Knee System	Patella Component	Small, medium & large	$614.00

LO043	LINK Endo Model Rotational Knee System	Tibial Spacers	Small, Medium, Large	$526.00

LO044	LINK Endo-Model Rotational Knee System	Total Rotational Knee Joint with Anti Lux 	Small, medium & large	$17,001.00

Device, with Patella Flange and Replacement

of Femoral and/or Tibial Bone Structures,

Distal femur

LO045	LINK Endo Model Rotational Knee System	Total Rotational Knee Joint with Anti Lux 	Small, medium & large	$13,752.00

Device, with Patella Flange and Replacement

of Femoral and/or Tibial Bone Structures,

proximal tibia

Prostheses List by Category and Sponsor	Page 289 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO046	LINK Endo Model Rotational Knee System	Total Rotational Knee Joint with Anti Lux 	Extra small, small, medium & large	$20,785.00

Device, with Patella Flange and Replacement

of Femoral and/or Tibial Bone Structures,

distal femur & proximal tibia

LO047	LINK Endo Model Rotational Knee System	Total hinge knee: without patella flange	Small, medium & large	$10,415.00

LO048	LINK Endo Model Rotational Knee System	Total hinge knee: with patella flange	Small, medium & large	$11,303.00

LO049	LINK T.A.C.K. Knee	Femoral Cementless	Extra-small, small, medium & large	$2,496.00

LO050	LINK T.A.C.K. Knee	Rotating Platform	Extra-small, small, medium & large	$936.00

LO051	LINK T.A.C.K. Knee	Patella cemented	Small & large	$520.00

LO052	LINK T.A.C.K. Knee	Tibial cementless	Extra-small, small, medium & large	$2,652.00

LO053	LINK T.A.C.K. Knee	Bridging Articulating Surface	Extra-small, small, medium & large	$936.00

LO054	LINK T.A.C.K. Knee	Hydroxyapaptite Coated (Hac): femoral 	Extra-small, small, medium & large	$3,016.00

component

LO055	T.A.C.K. Cementless Knee Joint System	Tibial Components, Cruciate Retaining, 	Small 1, Small 2, Large 1, Large2	$2,005.00	$3,016.00

Without HX Coating

LO056	LINK T.A.C.K. Knee	Hydroxyapaptite Coated (Hac): tibial plateau	9- 16.5mm	$2,596.00

LO057	LINK Lubinus Total Patella Glide Replacement	Patella Component	Small, medium & large	$483.00

LO058	LINK Lubinus Total Patella Glide Replacement	Femoral Component	Small, medium, large, extra large	$2,026.00

LO059	LINK Endo-Model SLED Prosthesis:	Femoral Component	Short, medium-short, medium & 	$2,288.00

large

LO060	LINK Endo-Model SLED Knee Prosthesis	Tibial Plateaus, Metal Backed, Polyethylene	7mm-13mm in 45, 50, 55 diameter	$1,915.00

LO062	LINK Giebel Blade Plates	-	50- 80mm	$376.00

LO063	LINK Giebel Blade Plates  - Cortical Screws	-	6-40mm	$35.00

LO064	LINK May Bone Plates	Distal Tibia Plate	80mm	$413.00

LO065	LINK May Bone Plates	Distal Tibia Plate	122mm	$413.00

LO066	LINK May Bone Plates	Distal Tibia Plate	158mm	$449.00

LO067	LINK May Bone Plates	Distal Tibia Plate	194mm	$491.00

LO068	LINK May Bone Plates	Distal Tibia Plate	230mm	$532.00

LO069	LINK May Bone Plates	Distal Fibular Plate	122mm	$413.00

LO070	LINK May Bone Plates	Distal Fibular Plate	158mm	$449.00

Prostheses List by Category and Sponsor	Page 290 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO071	LINK May Bone Plates	Distal Fibular Plate	194mm	$491.00

LO072	LINK May Bone Plates	Distal Fibular Plate	230mm	$532.00

LO073	LINK May Bone Plates	Lateral Proximal Tibia Plate 	80mm	$413.00

LO074	LINK May Bone Plates	Lateral Proximal Tibia Plate	122mm	$413.00

LO075	LINK May Bone Plates	Lateral Proximal Tibia Plate	158mm	$449.00

LO076	LINK May Bone Plates	Lateral Proximal Tibia Plate	194mm	$491.00

LO077	LINK May Bone Plates	Lateral Proximal Tibia Plate	230mm	$532.00

LO078	LINK May Bone Plates	Medical Proximal Tibia Plate	80mm	$392.00

LO079	LINK May Bone Plates	Medical Proximal Tibia Plate	122mm	$392.00

LO080	LINK May Bone Plates	Medical Proximal Tibia Plate	158mm	$424.00

LO081	LINK May Bone Plates	Medical Proximal Tibia Plate	194mm	$460.00

LO082	LINK May Bone Plates	Medical Proximal Tibia Plate	230mm	$506.00

LO083	LINK May Bone Plates	Distal Femur Plate	80mm	$413.00

LO084	LINK May Bone Plates	Distal Femur Plate	122mm	$413.00

LO085	LINK May Bone Plates	Distal Femur Plate	158mm	$449.00

LO086	LINK May Bone Plates	Distal Femur Plate	194mm	$491.00

LO087	LINK May Bone Plates	Distal Femur Plate	230mm	$532.00

LO088	LINK May Bone Plates	Proximal Femur Plate	122mm	$413.00

LO089	LINK May Bone Plates	Proximal Femur Plate	158mm	$449.00

LO090	LINK May Bone Plates	Proximal Femur Plate	194mm	$491.00

LO091	LINK May Bone Plates	Proximal Femur Plate	230mm	$532.00

LO092	LINK May Bone Plates	Distal Humerus Plate Y-shape: Angle 40deg	122mm	$449.00

LO093	LINK May Bone Plates	Distal Humerus Plate Y-shape: Angle 50deg	150mm	$449.00

LO094	LINK May Bone Plates	Distal Humerus Plate Y-shape: Angle 30deg	90mm	$449.00

LO095	LINK May Bone Plates	Distal Humerus Plate Y-shape: Angle 30deg	120mm	$449.00

LO096	LINK May Bone Plates	Distal Humerus Plate Y-shape: Angle 45deg	150mm	$449.00

LO097	LINK May Bone Plates	Humerus Plate Proximal - Neutral	80mm	$413.00

LO098	LINK May Bone Plates	Humerus Plate Proximal - Neutral	98mm	$413.00

LO099	Schwabe Plates	Distal Radius Bone Plates	Small & large	$352.00

Prostheses List by Category and Sponsor	Page 291 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO100	LINK Arthrodesis Pin	Cobalt Chromium	90mm	$6,300.00

LO101	LINK Arthrodesis Pin	Tilastan	90mm	$7,300.00

LO106	Intramedullary Plug	P/E Intramedullary Plug	12 to 20 mm	$120.00

LO107	Beta-Cone Cementless Hip Prosthesis	Cementless, HX coated, Titanium Stem	9 Stem sizes 1-9 plus additional 9 	$3,120.00

stems with XL neck length. Total

18 sizes

LO111	Beta-Cone Cementless Hip Prosthesis	Cementless, Hx coated, Titanium Stem	9 Stem sizes 1-9 plus additional 9 	$3,690.00

stems with XL neck length.  Total

18 Sizes

LO127	T.A.C.K. Cementless Knee Joint System	Tibial Components, Cruciate Retaining, with 	Small 1, Small 2, Large 1, Large2	$2,652.00

HX Coating

LO128	Gemini MkII Knee Joint Prostheses System	Femoral Component, Standard, HX Coating	Extra Small - Extra Large	$2,000.00	$3,800.00

LO129	Gemini MkII Knee Joint Prostheses System	Tibial Component, Microporous/ HX TM 	Extra Small - Extra Large	$3,016.00

Coating

LO131	Gemini MkII Knee Joint Prostheses System	Extra Small - Extra Large	$1,100.00

LO133	Waldemar Link MP Reconstruction Hip 	Neck Segment Assembly	35-65mm IN 126 & 135 degrees	$458.00	$3,120.00

Prosthesis

LO134	Waldemar Link MP Reconstruction Hip 	Neck Segment Assembly	35-65mm IN 126 & 135 degrees	$458.00	$3,420.00

Prosthesis

LO135	Waldemar Link MP Reconstruction Hip 	Neck Segment Assembly	35-65mm IN 126 & 135 degrees	$458.00	$3,393.00

Prosthesis

LO136	Waldemar Link MP Reconstruction Hip 	Stem	14 - 25mm x 210, 250, 290 & 	$4,160.00

Prosthesis	330mm; 12 x 160, 180, 210, 250 -

MP; 14 x 160, 180 -MP; 16 x 160,

180 - MP; 18 x 160, 180 - MP; 20

x 160, 180 - MP; 22.5 x 160, 180 -

MP; 25 x 160, 180 - MP

LO137	Waldemar Link MP Reconstruction Hip 	Stem	14 - 25mm x 210, 250, 290 & 	$4,160.00

Prosthesis	330mm; 12 x 160, 180, 210, 250 -

MP; 14 x 160, 180 -MP; 16 x 160,

180 - MP; 18 x 160, 180 - MP; 20

x 160, 180 - MP; 22.5 x 160, 180 -

MP; 25 x 160, 180 - MP

Prostheses List by Category and Sponsor	Page 292 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LO138	Waldemar Link MP Reconstruction Hip 	Stem	14 - 25mm x 210, 250, 290 & 	$3,484.00

Prosthesis	330mm; 12 x 160, 180, 210, 250 -

MP; 14 x 160, 180 -MP; 16 x 160,

180 - MP; 18 x 160, 180 - MP; 20

x 160, 180 - MP; 22.5 x 160, 180 -

MP; 25 x 160, 180 - MP

LO140	Fixation Screw with Locking Bolt	-	38 & 58 mm	$463.00	$3,420.00

LO141	Fixation Screw with Locking Bolt	-	38 & 58 mm	$463.00	$3,393.00

LO142	Prostheses, Femoral Head	-	35-65mm IN 126 & 135 degrees	$2,860.00

LO146	CFP Hip Stem	A, B, left and right; titanium/ HA	Extra small to Extra Large	$5,384.00

LMT Surgical Pty Ltd

LM001	TriMed Wrist Fixation System	Washer	$115.00

LM002	TriMed Wrist Fixation System	Plates, Stainless Steel	Radial and Ulna pin plate -  3 hole, 	$915.00	$950.00

5 hole, 7 hole;  L plate - left and

right

LM004	TriMed Wrist Fixation System	Buttress Pin Stainless Steel Wire Form	16 - 42mm Length, 8 - 14mm Bend	$452.00

LM005	TriMed Wrist Fixation System	Small Fragment Clamp  Stainless Steel Inner 	16 - 32mm Length, 10 - 20mm Bend	$465.00

and Outer Component Wire Form

LM007	TriMed Wrist Fixation System	Cortical Bone Screw, Stainless Steel	Diameter 2.3 - 3.2mm, Length 10 - 	$120.00

32mm

LM008	Spider and Mini-Spider Limited Wrist Fusion 	Stainless Steel	8 hole spider plate, 6 hole mini-	$2,200.00

System	spider plate

LM009	The Subtaler MBA Implant	Titanium	6, 8, 9, 10, 12mm and guide pin 	$1,300.00

2mm

LM010	Universal Total Wrist Implant System (UTW)	Consists of 3 parts, proximal radius 	Radial Component - Small - left & 	$9,500.00

component made of cobalt/chrome, distal 	right, Medium - left & right, Large -

titanium plate, titanium screws and 	 left & right; Carpal Component -

polyethylene joint surface	Small, Medium, Large;

Polyethylene Carpal Component -

Small - Standard, +1, +2,  Medium

- Standard, +1, +2, Large -

Standard, +1, +2; Bone Screws -

4.5mm Diameter 15 - 35mm lengths

LM011	Ascension PIP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P 20D/20P, 30D/30P, 	$1,400.00

40D/40P

Prostheses List by Category and Sponsor	Page 293 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LM012	Ascension MCP Joint Replacement	Pyrocarbon, distal or proximal	10D/10P, 20D/20P, 30D/30P, 	$1,400.00

40D/40P, 50D/50P,

LM014	Trimed Marked K-Wire	Stainless Steel	Diameter 0.9 - 1.1mm	$40.00	To be funded where any or all K-

wires used in a procedure are used as

an implant.

LM015	Kinetik Great Toe Implant	Phalangeal Component made of titanium alloy 	0,1,2,3	$2,400.00

01-2010, 01-2012, 01-2014, 01-2016

LM016	Kinetik Great Toe Implant	Metatarsal Component  made of chrome cobalt 	1, 2, 3 Right & Left	$2,000.00

01-2002, 01-2004, 01-2006, 01-2003, 01-

2005, 01-2007

LM018	Ascension Silicone MCP Replacement	MCP - Injection - Moulded Medical Grade 	Size 10, 20, 30, 40, 50	$800.00

Silicone Elastomer; SMCP-500-10, 20, 30,

40, 50

LM020	Epoca Custom Offset Shoulder Prosthesis	Epoca Stem	6 - 14mm, Length: 115 - 215mm	$3,000.00

LM021	Epoca Custom Offset Shoulder Prosthesis	Epoca ZF Cementless Stem	6 - 14mm, Length: 115 - 135mm	$3,000.00

LM022	Epoca Custom Offset Shoulder Prosthesis	Epoca Head	40 - 54mm, Height: 15 - 20.25mm	$1,525.00

LM023	Epoca Custom Offset Shoulder Prosthesis	Epoca Eccenter	One size only	$540.00	$600.00

LM024	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid	40mm - 54mm	$1,600.00

LM025	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid Shell Screw	10; 15; 20mm	$250.00

LM026	Epoca Custom Offset Shoulder Prosthesis	Epoca Reco Glenoid	42 - 52mm	$3,300.00

LM027	Epoca Custom Offset Shoulder Prosthesis	Epoca Glenoid Insert	42 - 54mm	$1,200.00

LM028	Ascension Pyrocarbon CMC Finger Implant	Pyrocarbon layer encasing a graphite substrate	10 - 40	$1,935.00

LM029	Kompressor	Titanium compression screw	10-34mm	$425.00

LM031	K2 Hemi Toe Implant System	Cobalt Chrome with Titanium plasma coating	1-4	$1,500.00

LM033	Trimed Wrist Fixation System, Volar Peg 	Stainless Steel	Volar Peg Plate 3-hole, Right & 	$1,300.00

Plate	Left, 4 and 5 Peg; Volar Peg Plate

5-hole, Right & Left, 4 and 5 Peg

LM035	Katalyst Anatomic Bipolar Radial Head	The Katalyst is a radial head prosthesis 	Radial Head sizes 16mm - 26mm	$1,339.00	$1,400.00

consisting of cobalt chrome, U.H.M.W. Pe

and Stainless Steel Components

LM036	Katalyst Anatomic Bipolar Radial Head	The Katalyst is a radial head prosthesis 	Shaft/Stem Assembly Sizes 20 - 	$1,400.00

consisting of cobalt chrome, U.H.M.W. Pe 	30mm

and Stainless Steel Components

Prostheses List by Category and Sponsor	Page 294 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LM037	Trimed Bearing Plate	The Bearing Plate is a stainless Steel plate that	3 - 9 holes	$1,450.00

has stainless Steel pegs and Screws for Fixation

LM038	KMI Distal Volar Radius Plate (DVR)	The DVR plates are made of titanium with the 	DVR Plate, 4 or 5 Hole	$1,340.00

option of 4 hole and 5 hole plates, 2.1mm

pegs, 2.4 or 2.8mm  Screws and 3.5mm

proximal screws

LM039	KMI Distal Volar Radius Plate (DVR)	The DVR plates are made of titanium with the 	DVR Pegs, 2.1mm x 10-34mm	$147.00

option of 4 hole and 5 hole plates, 2.1mm

pegs, 2.4 or 2.8mm  Screws and 3.5mm

proximal screws

LM040	KMI Distal Volar Radius Plate (DVR)	The DVR plates are made of titanium with the 	DVR Screws, 2.4 - 3.5mm x 10 - 	$120.00

option of 4 hole and 5 hole plates, 2.1mm 	34mm

pegs, 2.4 or 2.8mm  Screws and 3.5mm

proximal screws

LM041	Trimed Bearing Plate, Fixation Pegs	The fixation pegs are made of medical grade 	Pegs - 2.3 x 10-34mm Threaded or 	$140.00

316 stainless steel	unthreaded pegs

LM043	Ascension Radial Head	The Ascension Radial Head is modular with a 	Head Size - 20 Short and Long, 22 	$3,090.00	$3,500.00

Pyrocarbon Head and Metal Stem which is 	Short and Long, 24 Short and Long;

made of Cobalt Chromium Alloy compliant 	 Stem Size - 01/02/03/04

with  ASTM F1537-00, also available in all

CoCr

LM044	KMI Total Ankle Replacement	The ankle is a three component system 	Small, Small +, Medium, Medium 	$6,250.00	$6,500.00

consisting of a CoCr with titanium plasma 	+, Large, Large +

spray (TPS) talus component and tibia

component and a bearing component made of

untra high molecular weight polyethylene

(UHMWPE).

LM045	Epoca Resurfacing Head	The humeral head surface replacement is 	Diameter 40 - 54mm	$1,525.00	$3,000.00

designed to replace the humeral articulating

surface and is chrome cobalt with

hydroxyapatite coating underneath

LM046	Fix Ex	Fix Ex bone cement is a calcium phosphate 	5cc - 10cc	$1,200.00

bone cement

LM047	Ascension Pyrodisc	Pyrocarbon interpositional prosthesis intended 	1-5	$1,500.00

for use in the CMC basal thumb joint

LM048	Ascension Radial Head Locking Plate and 	Titanium pre-formed anatomical radial head 	10mm - 40mm	$160.00

screws	Screws

Prostheses List by Category and Sponsor	Page 295 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

LM049	Biotech omnitech	The compression screws are for fixation of 	2 - 7mm diameter & 6 - 70mm 	$425.00

fractures and are avaliable in titanium and 	length

stainless steel

LM050	Biotech Easy Lock Osteosystem	Titanium and PEEK	2-10 holes  straight	$600.00

LM051	Biotech Easy Lock Osteosystem	Titanium and PEEK	10-20 holes straight and T-shape	$700.00

LM052	Ascension Compression Screw	Titanium Compression Screw	2-5mm diameter ; 12 - 40mm length	$425.00

LM053	Osteotec Silicone PIP Joint Replacement	2 component hinged joint replacement for the 	5 - 50	$560.00

proximal interphalangeal joint

LM054	Argomedical Malleolar Plate	Titanium	6 - 10 Hole Plates	$460.00

LM055	KMI Bioresorbable MBA	PLLA	6-14mm	$1,800.00

LM056	Ascension DRUJ Ulna Head, Implant System	Cobalt chromium stem with PyroCarbon or 	0, 1, 2, 3, 4	$2,300.00

Cobalt Chromium Articular Surface

LM057	Ascension Radial Head Locking Plate and 	Titanium pre-formed anatomical radial head 	small and large	$1,310.00

Screws	plate

LM058	Ascension Total Wrist Replacement	Stainless, Poly and Chrome Cobalt Total 	Radial, Carpal and Poly 	$9,500.00

Wrist Replacement	Components: X - Small - Large

LM059	Instratek Cannulated Bone Screws	Titanium cannulated bone screws	2.3mm - 5.0mm diameter; 5 - 	$440.00

45mm length

LM060	BioTech Xpode 4	PEEK curved and round plate	Mini 1, 2, 3 & 4	$1,100.00

LM061	BioTech Xpode 4	Screws titanium	6 - 70mm length	$180.00

LM062	ArgoMedical Pedofix	Titanium fixed angle plate for foot surgery	2.7mm	$650.00

LM063	ArgoMedical Pedofix	Titanium screws	2.7mm x 8 - 28mm Length	$50.00

LM064	TriMed Ulnar Osteotomy System	Stainless Steel Ulnar Osteotomy Plate	5 - 9 holes	$900.00

LM065	TriMed Olecranon Sled	Stainless Steel Wire Form	Length 40-90mm	$298.00	$600.00

LM066	TriMed Olecranon Sled	Washer	one size	$200.00

Mathys Orthopaedics Pty Ltd

MA016	CCA Cemented Stem	Straight / standard / lateral sterile 	7.50mm -17.5mm	$2,000.00

MA017	FULFIX Cemented Stem	Standard modular / lateral modular sterile	3.0mm - 12.5mm	$2,000.00

MA018	Intramedullary Plug	Cement Restricter	Small to Extra Large	$209.00	$217.00

MA019	CBC Cementless Stem	Titanium femoral stem	5-20mm	$3,588.00

MA020	Ceramic Head	Ceramic	Cone 12/14  - dia 28mm-32mm	$2,055.00

Prostheses List by Category and Sponsor	Page 296 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MA023	RM cup with MOM	Chrome, cobalt lining	Dia 46mm - 64mm	$3,588.00

MA024	CCE Ring	CCE roof reinforcement ring -	Dia 46 - 58mm	$1,040.00

MA025	Bipolar Head	Bipolar prosthesis head  	Dia 28mm	$1,872.00

MA026	Distal Centraliser	For fullfix stem - PMMA	Dia 8.0/9.5mm - 15/12mm	$150.00

MA027	CCB Cemented Cup	Full profile / low profile special cup	28/32 ID - 42/64 OD	$936.00

MA028	Metal Heads	Hip Prosthesis Head	Cone 12/14 dia 28mm-58mm 	$811.00

MA029	Metal on Metal Head	Head for MOM articulation	28mm, 32mm, 36mm	$2,392.00

MA031	RM Cementless Cup	Monomesh/Ceros 80/Titanium	46mm - 68mm	$2,368.00

MA032	RM Cup Screws	Titanium                    	4 x 22mm - 4 x 48mm	$150.00

MA081	Finger	Prosthesis - distal, proximal, standard, large	L18 D4.0 - L26 D6.0	$1,600.00	$2,000.00

MA108	Balansys Femoral Component	Left & right 	A - E	$3,400.00

MA109	Balansys Tibial Base Plate 	Metal back	64mm - 85mm	$2,182.00

MA110	Balansys Tibial Component	Tibial insert 	Insert 64/8 - 85/15.5	$945.00

MA111	Balansys Patella Component	Polyethylene	Dia 25mm	$614.00

MA311	Balansys Mobile Insert	Tibial Polyethylene Component Mobile 	64/8mm - 85/15.5mm	$910.00

Bearing

MA312	Balansys Mobile Base Plate	Tibial Base Plate Mobile Bearing	64/8mm - 85/15.5mm	$2,704.00

MA419	seleXys PE Inlay	Modular, Keramed CHIRULEN UHMW-PE 	44mm-72mm	$1,160.00

insert to fit MACROFIT/TRISTABIL/

UNICAP acetabular cup systems

MA420	seleXys Cancellous Bone Screws	Modular, Keramed PROTHITAN cancellous 	Diameter 6.5mm to fit 	$280.00

screw	MACROFIT/TRISTABIL/UNICU

P acetabular cup system 15-45mmL

MA421	seleXys Ceramic Inlay	Modular, Keramed BIONIT ceramic insert to 	44-72mm	$2,558.00

fit MACROFIT/TRISTABEL/UNICAP

acetubular cup systems

MA422	Articula Shoulder Prosthesis	Articula Humeral Head Bionit Ceramic (A1203)	44mm, 46mm, 48mm	$1,525.00

MA423	Unistem 2	Cemented stem for hip arthroplasty	Sizes 6-16; Length 125-165mm	$1,248.00

MA424	GSS-CO	Cementless stem for hip arthroplasty	Sizes 1-7; Length 145-200mm	$1,800.00

MA427	CBH Stem	Cementless stem for hip arthroplasty	00-12	$3,588.00

Prostheses List by Category and Sponsor	Page 297 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MA428	CBK Revision Stem	Uncemented revision stem for hip arthroplasty	Dia 14mm-25mm; Lengths 225, 	$5,408.00

265, 305mm

MA431	Cemfix	Acrylic bone cement for orthopaedic surgery	CEMFIX 1 Standard viscosity; 	$240.00

CEMFIX 2 Low viscosity

MA439	ExpanSys Cup	Cementless acetabular component for hip 	acetabular shell/cup 44-72mm range	$3,640.00

arthroplasty titanium expandable cup with

either p/e or m/m inlay

MA440	ExpanSys Cup	Cementless acetabular component for hip 	UHMW-PE inlay 44-72mm range	$884.00

arthroplasty titanium expandable cup with

either p/e or m/m inlay

MA441	ExpanSys Cup Metal Liner	Acetabular metal liner component for 	Metal on metal inlay 28mm i.d. 44 	$2,288.00

Cementless hip arthroplasty titanium 	- 70mm o.d., 32mm i.d. 52 - 56mm

expandable cup	 o.d., 36mm i.d. 58 - 70mm o.d.

MA442	seleXys Shell	Modular Keramed titanium acetabular 	44-72mm (2mm increments)	$2,808.00

component to include

MACROFIT/TRISTABIL/UNICUP

MA448	Affinis Total Shoulder Prosthesis	Head - CoCr; Stem - Titanium; Glenoid - 	Diameter 39, 41, 43, 45, 47, 49, 51,	$1,525.00

UHMWPE	 53mm

MA449	Affinis Total Shoulder Prosthesis	Stem - CoCr; Stem - Titanium; Glenoid - 	Cemented 6, 9, 12, and 	$3,890.00

UHMWPE	15mm;Cementless 6, 7.5, 9, 10.5,

12, 13.5 and 15mm

MA450	Affinis Total Shoulder Prosthesis	Glenoid - CoCr; Stem - Titanium; Glenoid - 	Size 1 to 4 Cemented	$2,200.00

UHMWPE

MA451	balanSys UNI	Femoral component, cemented CoCrMo	A, B,C,D,E	$2,970.00

MA452	balanSys UNI	Tibial component - fixed bearing	1,2,3,4,5	$1,664.00

MA453	balanSys UNI	Tibial component - mobile	1,2,3,4,5	$1,732.00

MA454	balanSys UNI	PE insert - fixed bearing	5,6,7,9	$900.00

MA455	balanSys UNI	PE insert - mobile	5,6,7,9	$900.00

MA456	Metal Heads	Hip Prosthesis Head	Cone 12/14 dia 28mm-58mm	$811.00

MA457	Balansys Femoral Component	Left & right	A - E	$3,500.00

MA459	Balansys Tibial Component	Tibial insert	Insert 64/8 - 85/15.5	$910.00

MA460	Balansys Mobile Base Plate	Tibial Base Plate Mobile Bearing	64/8mm - 85/15.5mm	$2,826.00

Prostheses List by Category and Sponsor	Page 298 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MA462	twinSys	uncemented Ti6A1V, corundum blasted, HA 	10 sizes in standard and lateral 	$4,420.00

coating, plasma sprayed, triple tapered femoral 	version (Size 9, 10, 11, 12, 13, 14,

stem	15, 16, 17, 18) and 4 sizes in short

stem (size 7, 8, 9, 10)

MA463	twinSys	cemented stainless steel, polished surface, 	8 sizes in standard and lateral 	$2,228.00

triple tapered femoral stem	version (Size 9, 10, 11, 12, 13, 14,

15, 16)

MA464	seleXys Metal on Metal Inlay	Modular, Keramed, Metal on Metal liner, to fit	12 sizes in 28mm internal diameter 	$2,288.00

seleXys Acetabular Cup systems	to accept 28mm MOM femoral head

(Size 42-72 in 2mm increments) 2

sizes in 32mm internal diameter to

accept 32mm MOM femoral head

(size 50 and 52mm increments) 9

sizes in 36mm internal diameter to

accept 36mm MOM femoral head

(size 54 - 70 in 2mm increments)

MA465	Articula Shoulder Prosthesis	Articula Central Part (TiA16V4)	18mm & 15mm	$1,550.00

MA466	Articula Shoulder Prosthesis	Artucula Humeral Stem (TiA16V4, A1203)	8mm x 125mm, 9.5mm x 125mm, 	$2,575.00

11mm x 125mm, 8mm x 175mm,

9.5mm x 175mm & 11mm x

175mm.

MA467	Hemiprosthesis Head, Stainless Steel	Hemiprosthesis Head, Stainless Steel, Cone 	42 mm - 58mm	$811.00

12/14mm

MA468	Femoral Head Ceramic >32 mm	Hip Prosthesis Femoral Head Bionit Ceramic 	36mm (S,M,L,XL,XXL)	$2,055.00

> 32mm

MA469	Femoral Head CoCrMo ≤32 mm	Hip Prosthesis Femoral Head CoCrMo 	28 mm & 32mm, (S,M,L,XL,XXL)	$795.00

≤32mm

MA470	Hemiprosthesis Head, Bionit Ceramic	Hemiprosthesis Head, Bionit Ceramic, Cone 	42-54mm	$2,055.00

12/14mm, Alumina

MA471	Dowel Screws	Dowel Screws made of TiCP (ISO5832-2) for 	5 Sizes with diameter of 3.75mm 	$200.00

use with RM Pressfit Cup	(Sizes: 25mm, 30mm, 35mm,

40mm, 45mm)

MA472	RM Pressfit Cup	RM Pressfit PE	10 Sizes for 28mm articulation (Size	$2,368.00

Cementless bonded shell/liner press-fit cup 	 46mm to 64mm in 2mm

made from UHW-PE with titanium-powder 	increment)

coating with PE articulation	7 sizes for 32mm articulation (size

52mm to 64mm in 2mm increment)

Prostheses List by Category and Sponsor	Page 299 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MA473	RM Pressfit Cup	RM Pressfit MoM	10 Sizes for 28mm MoM 	$3,588.00

Cementless bonded shell/liner press-fit cup 	articulation (Size 46mm to 64mm in

made from UHMW-PE with titanium-powder 	 2mm increment)

coating with Metal articulating surface for 	3 sizes for 32mm MoM articulation

Metal on Metal Articulation	(size 52mm to 56mm in 2mm

increment) 5 sizes for 36mm MoM

Articulation (size 56mmto 64mmin

2mm increment)

MA474	Cemira	Cerima cemented, polished, no pre-coat, 	Standard: 8 Sizes (Size 	$2,317.00

tapered short or standard length stem. 	4,5,6,7,8,9,10,11)

Available in three versions: standard, lateral 	Lateral: 7 Sizes (Size

and dysplastic. Manufactured from corrosion 	4,5,6,7,8,9,10)

resistant stainless steel (ISO 5832-9)	Dysplastic: 3 Sizes (1,2,3)

MA475	twinSys longstem	twin Sys longstem uncemented Ti6AIV, 	4 Sizes (Size 12, 13, 14, 15)	$5,044.00

corundum blasted, HA coating, plasma

sprayed/ Triple tapered femoral stem - long

length

Medacta Australia Pty Ltd

MU001	CONE Cemented Stem	CONE cemented stem, CoCr alloy	Standard sizes 1 to 8, Lateralized 	$2,300.00

sizes 2 to 7

MU002	CONE Cemented Stem	CONE Distal centralizer, PMMA	10mm to 18mm	$53.00

MU003	Quadra Hip Stem System	Quadra-H Cementless stem, Ti6A17Nb alloy	Std 0 to 8 Lat 1 to 7	$4,250.00

MU004	Quadra Hip Stem System	Quadra-C Cemented stem, high nitrogen 	0 to 7	$1,722.00

stainless steel alloy

MU005	Quadra Hip Stem System	Femoral head, CoCr alloy	Dia 28mm, (S to XXL) or 32mm (S	$795.00

to XXL)

MU006	Quadra Hip Stem System	Femoral head Biolox Forte, A1203	Dia 28mm (S,M,L) 32mm (S,M,L)	$1,510.00

MU007	Quadra Hip Stem System	Femoral head Biolox Forte, A1203	36mm (S,M,L)	$1,510.00

MU008	Versafitcup CC Press-fit Cup System	Versafitcup CC,Ti6A14V	48 to 64	$2,704.00

MU009	Versafitcup CC Press-fit Cup System	Versafitcup CC Light, Ti6A14V	48 to 64	$2,652.00

MU010	Versafitcup CC Press-fit Cup System	Versafitcup CC PE Liner, flat UHMWPE	Head dia 28mm (48 to 64) or 32mm	$820.00

(54 to 64)

MU011	Versafitcup CC Press-fit Cup System	Versafitcup CC PE Liner, hooded UHMWPE	Head dia 28mm (48 to 64) or 32mm	$820.00

(54 to 64)

Prostheses List by Category and Sponsor	Page 300 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MU012	Versafitcup CC Press-fit Cup System	Versafitcup CC PE Biolox Forte Liner, A1203	Head dia 28mm (48 to 64) or 32mm	$2,500.00

(52 to 64) or 36mm (54 to 64)

MU013	Versafitcup CC Press-fit Cup System	Versafitcup CC PE Biolox Delta Liner, 	32mm (48 to 50) or 36mm (54 to 	$2,533.00

A1203-Zr02	64)

MU014	Versafitcup CC Press-fit Cup System	Versafitcup CC Cancellous Bone Screw, 	6.5 L 25-30-35-40-45mm	$280.00

Ti6A14V

MU015	Versafitcup CC Press-fit Cup System	Versafitcup CC Lug with screw, Stainless 	4.5 L 35-40-45-50-55mm	$500.00

Steel 316LVM

MU016	Versafitcup CC Press-fit Cup System	Versafitcup CC Obturator Hook, Stainless 	$500.00

Steel 316LVM

MU017	Versafitcup CC Press-fit Cup System	Versafitcup CC Plug, Ti6A14V	$300.00

Medical & Optical  Instruments Australia Pty Ltd

MO005	HBS Bone screw	Compression - standard, high	Length 10 - 30mm	$330.00

MO134	Martin Osteosynthesis System	Screw Fami Anchor Titanium	1.5 - 2.0mm Diameter 8 - 15mm	$164.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO135	Martin Internal Distraction System	Titanium Distractor	10 to 20mm	$2,700.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO136	Intra Oral Mandibular Distraction System  	Vertical	6 to 15mm	$2,220.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO137	Intra Oral Mandibular Distraction System  	Ramus	15 to 25mm	$2,840.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO138	Martin Bone Plate	Compression Plate  Y Plate Titanium	1.0mm	$160.00

MO139	Martin Bone Plate	Compression Plate T Plate Titanium	1.0mm	$223.00

MO140	Martin Bone Plate	Compression Plate Y, L Plate Titanium	1.0mm	$215.00

MO141	Martin Bone Plate	Compression Plate Straight Titanium	1.0mm	$215.00

MO142	Martin Bone Plate	Compression Plate T,L, Straight Titanium	1.2mm	$350.00

MO143	Martin Bone Screw	Titanium	2.0mm diameter,20 to 24mm length	$53.00

MO144	Martin Bone Screw	Titanium	2.0mm diameter,26 to 32mm length	$55.00

Prostheses List by Category and Sponsor	Page 301 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO145	Martin Ulna Head prosthesis	Stem Titanium	Small, medium and 	$2,258.00

large,2mm,4mm and 17mm collar

MO146	Martin Ulna Head prosthesis	Ceramic Head, Chromium Cobalt	Small, medium and large	$2,800.00

MO147	Acumed Shoulder Joint Prostheses 	Titanium	130 to 280mm stem,13 to 15mm 	$6,800.00

body, 16 to 23mm head.

MO148	Acumed Implantable Screw	Fixation Screw Titanium	2.7/3.5mm diameter 12 to 24mm 	$191.00

length

MO150	Acumed Congruent Plate System	Foot & Ankle Plate, Titanium	4 to 9 Hole	$470.00

MO151	Acumed Congruent Plate System	Distal Radius Plate Titanium	6 to 7 hole	$465.00

MO152	Acumed Congruent Plate System	Thumb Plate Titanium	5 to 6 hole	$448.00

MO153	Acumed Congruent Plate System	Screw Titanium	2.1, 2.7, 3.5, 4.0mm diameter, 	$94.00

6mm to 28mm length

MO154	Polarus Proximal Humeral Fixation System	Polarus Proximal Humeral Rod Standard/Plus 	150 - 300mm length	$1,925.00

Titanium

MO156	Polarus Proximal Humeral Fixation System	Polarus Screws Cancellous/Cortical Titanium	12.5 to 60mm length	$220.00

MO158	Polarus Humeral Rod System	Polarus Washer	3.5mm	$20.00

MO159	Polarus Humeral Rod System	Polarus Ulna Rod Titanium	210 to 270mm length	$1,460.00

MO160	Polarus Humeral Rod System	Polarus Retrograde Rod Titanium	200 to 300mm length	$1,415.00

MO161	Polarus Humeral Rod System	Polarus Radius Rod Titanium	190 to 230mm length	$1,460.00

MO162	Tension Band Pin	Stainless Steel	50 to 90mm	$156.00

MO165	Osteo Clage Cable System	CoCr, Stainless Steel Cable Sleeve	2mm	$240.00

MO166	Osteo Clage Cable System	CoCr, Stainless Steel Cable	850mm	$336.00

MO172	Dynamic Martin Screw	Plate  Stainless Steel	2 to 8 hole	$1,185.00

MO173	Dynamic Martin Screw	Plate  Stainless Steel	10 to 12 hole	$1,545.00

MO174	Dynamic Martin Screw	Plate Stainless Steel	14 hole	$1,695.00

MO175	Dynamic Martin Screw	Support Screw Stainless Steel	50 to 120mm length	$282.00

MO176	Dynamic Martin Screw	Lag Screw Stainless Steel	One size only	$31.00

MO177	Acutrak Fixation Screw	Wire Kirschner Stainless Steel	0.70mm to 1.6mm diameter, 4 to 	$20.00	To be funded where any or all K-

9in (10.16 to 22.86mm) length	wires used in a procedure are used as

an implant.

MO178	Acutrak Fusion Screw	Titanium	12 - 37mm	$330.00

Prostheses List by Category and Sponsor	Page 302 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO179	Acutrak Fixation Screw	Acutrak Cannulated Screw Titanium	8mm to 50mm	$425.00

MO180	Acutrak Fixation Screw	Acutrak Plus, 6/7, 4/5 Cannulated Screw 	25mm to 120mm	$425.00	$495.00

Titanium

MO190	Acumed Congruent Plate System	Mid-shaft compression plate - titanium	4 - 12 hole	$410.00

MO191	Acumed Congruent Plate System	Metatarsal osteotomy plate - titanium	Right, left	$465.00

MO192	Acumed Congruent Plate System	Malleolar plate - titanium	Medial, anterior, lateral 5 hole, 	$552.00

lateral 7 hole

MO193	Acumed Congruent Plate System	Fibula guide plate - titanium	3 - 7 hole	$550.00

MO194	Acumed Congruent Plate System	Elbow plate - titanium	Epicondyle, Olecranon, Coronoid, 	$1,308.00

Posterior, Radial Head, Small,

Medium, Long, Extra Long, 10-

Hole, Standard

MO195	Acumed Congruent Plate System	Screw - titanium	2.7, 3.5, 4.0mm dia, 30 - 65 length	$120.00	$147.00

MO196	Osteo Clage Cable System	Cerclage wire and sleeve	500mm	$435.00

MO200	Polarus Proximal Humeral Fixation System	End cap, titanium	Only size only	$45.00	$180.00

MO201	Intra-Oral Vertical Distractor	Titanium distraction device utilising micro-	Two-hole threaded fixation plates - 	$1,260.00	Only to be funded where used in a

threaded fixation plates, distraction screws and 	one size only; distraction screws - 	service for which a Medicare Benefit

positioning screws.	8,10,12,14mm; positioning screws -	is payable

15,17,19,21mm

MO202	Acumed Bone Plate	MCP Fusion Plate - Titanium	4 Hole left and right	$572.00

MO208	Acumed Bone Plate	Wrist Fusion Plate - Titanium	Standard, Mini	$2,092.00	$2,200.00

MO209	Acumed Congruent Plate System	Threaded K-Wire - Titanium	WT-1606STT: Length 15cm x 	$73.00	To be funded where any or all K-

Diameter 0.62"; WT-0906STT: 	wires used in a procedure are used as

Length 15cm x Diameter 0.35"	an implant.

MO211	Accumed Congruent Plate System	Clavicle Plate - Titanium	Small, Medium, Large, J-Shape, 	$1,386.00

Left, Right

MO243	Polarus Proximal Humeral Plate	Titanium Humeral Plate	Left, Right, Large, Small, Two Part	$1,470.00

MO247	Martin Fixation Device Internal - Plate	Steile Titanium Y and Double Y Plate	1.5mm system	$295.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO249	ACU- LOC Distal Radius Plate System	Threaded, non-threaded, locking, non-locking 	2.3mm / 3.5mm diameter, 14-	$145.00

screw, peg, Titanium	32mm length

Prostheses List by Category and Sponsor	Page 303 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO252	Martin Fixation Device Internal - Screw	2.0mm diam. Pkt 2	4-11mm	$77.30	The benefit amount/minimum benefit

amount is for an individual product

which comes as a pack of two

MO253	Martin Fixation Device Internal - Screw	2.0mm diam. Pkt 2	12-20mm	$125.00	The benefit amount/minimum benefit

amount is for an individual product

which comes as a pack of two

MO254	Martin Fixation Device Internal - Screw	2.3mm diam. Pkt 2	5-11mm	$76.30	The benefit amount/minimum benefit

amount is for an individual product

which comes as a pack of two

MO255	Martin Fixation Device Internal - Screw	1.5-1.8mm diam. Pkt 2	3.5-9mm	$142.00	The benefit amount/minimum benefit

amount is for an individual product

which comes as a pack of two

MO256	Martin Fixation Device Internal - Screw	1.5-1.8mm diam. Pkt 2	10-15mm	$165.00	The benefit amount/minimum benefit

amount is for an individual product

which comes as a pack of two

MO257	Acu-Loc Distal Radius Plate System	Distal radius plate, titanium	Standard, long, wide, narrow, left, 	$1,675.00

right

MO259	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 10cc	$580.00

MO260	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 20cc	$780.00

MO261	ALLOGRAN N	Hydroxyapatite Bone Graft	3.5mm granules 70cc	$1,400.00

MO262	STIMULAN	Calcium Sulphate Pellets	3mm pellets 5cc	$450.00

MO263	STIMULAN	Calcium Sulphate Pellets	3mm pellets 10cc	$600.00

MO264	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 10cc	$600.00

MO265	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 20cc	$950.00

MO266	STIMULAN	Calcium Sulphate Pellets	3mm pellets 1.5cc Dispenser	$450.00

MO267	STIMULAN	Calcium Sulphate Pellets	4.8mm pellets 5cc Dispenser	$730.00

MO268	STIMULAN	Calcium Sulphate Injectable Paste incl. powder	5cc	$1,200.00

mixing solution

MO269	STIMULAN	Calcium Sulphate Injectable Paste incl. powder	10cc	$1,800.00

mixing solution

Prostheses List by Category and Sponsor	Page 304 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO270	Acumed Total Radial Head	Head	20-28mm	$3,300.00

MO271	Acumed Total Radial Head	Stem	6-10mm diameter, 0-8mm neck 	$2,100.00

height

MO272	Acumed Tap-Loc	Variable angle locking plate system	medial; left and right, lateral 	$1,550.00

Olecranon Left and right 6-20 holes

MO273	Acumed Tap-Loc	Tap screws, Tap-Loc Screws	diameter 2.7mm - 3.5mm, length 	$120.00	$160.00

36mm-60mm

MO274	Acutrak 2	Headless Compression screw	8mm-30mm length	$425.00	$550.00

micro, mini, standard

MO275	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone 	2mm Granules 5 cc	$540.00

Graft

MO276	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone 	2mm Granules	$750.00

Graft	10 cc

MO277	Allogran R	Beta Tri-Calcium Phosphate Resorbable Bone 	2mm Granules	$1,200.00

Graft	20 cc

Medimen Australia Pty Ltd T/A Alpha Medical Services

MM001	MOJE Toe and Finger Implants	Includes distal and proximal implants	$1,500.00

Medtex

MX002	Judet Plate	Implantable stainless plates for fixation and 	4 prong x 12 through to 24mm in 	$231.00	$251.00

stabilisation of rib fractures	2mm increments:  6 prong x 12

through to 24mm in 2mm increments

MX003	Kirschner Extension Wire	Implantable extension wires for osteosynthesis 	100mm length x 0.4mm thru to 	$8.00	To be funded where any or all K-

and fixative purposes	2.2mm diameter in 1mm 	wires used in a procedure are used as

increments. 150mm length x 0.6mm	an implant.

thru to 2.2mm diameter in 1mm

increments. 230mm length x 0.8mm

thru to 3mm diameter in 1mm

increments. 305mm length x 0.8mm

thru to 3mm diameter in 1mm

increments.

Medtronic Australasia Pty Ltd

MC415	BCP	Biphasic Calcium Phosphate Reabsorbable 	1-3cc	$832.00

Graft Supplement

MC669	BCP	Biphasic Calcium Phosphate Reabsorbable 	5cc	$936.00

Graft Supplement

Prostheses List by Category and Sponsor	Page 305 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC670	BCP	Biphasic Calcium Phosphate Reabsorbable 	10cc	$1,352.00

Graft Supplement

MC682	Infuse Bone Graft	Recombinant human Bone Morphogenetic 	Small 4.2mg	$3,200.00	Temporary approval pending review

Protein rhBMP-2	of listing criteria

MC683	Infuse Bone Graft	Recombinant human Bone Morphogenetic 	Medium 8.4mg	$6,000.00	Temporary approval pending review

Protein rhBMP-2	of listing criteria

MC684	Infuse Bone Graft	Recombinant human Bone Morphogenetic 	Large 12mg	$6,400.00	Temporary approval pending review

Protein rhBMP-2	of listing criteria

MC685	Verte-Stack Crescent	PEEK	Height 6 - 18mm	$4,713.00

Morton Surgical Pty Ltd

MG020	Surgimesh WN / Surgimesh WN non-adherent	Surgimesh WN no-adherent	Tintra R 12,5cm	$985.00

MG021	Surgimesh WN / Surgimesh WN non-adherent	Surgimesh WN non-adherent	Tintra M 22x15x10cm	$1,300.00

MG022	Surgimesh WN / Surgimesh WN non-adherent	Sugimesh WN non-adherent	Tintra L 30x30x20cm	$1,300.00

MG023	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN Alfi ep	Talfi - 8 	$108.00

80g

MG024	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN 1/2 ovale	T613 - 85	$106.00

6x13cm FPD ep 80g

MG025	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN	T1015 10x15cm	$106.00

MG026	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN	T1115-8 	$191.00

11x15cm, 80g

MG027	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN with window	T1115-8F	$198.00

, 11x15cm

MG028	Surgimesh wn/surgimesh wn non-adherent	Surgimesh WN	T1415-8	$191.00

14x15cm

MG029	Surgimesh wn/surgimesh wn non-adherent	SurgimeshWN	T3030	$237.00

30x30cm

National Surgical Corporation Pty Ltd

NI139	Distraction Device	Medicon Ti - Mandibular Distraction/Adjust	15 - 20mm	$2,070.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NI140	Distraction Device	Medicon Ti - Mandibular Distraction	10 - 25mm	$2,000.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 306 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Orthocare Pty Limited

OC009	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt 	5mm	$110.00

non-absorbable. Stainless Steel non-

absorbable. Non-sterile 57-73

OC010	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt 	10mm	$110.00

non-absorbable. Stainless Steel non-

absorbable. Non-sterile 57-74

OC011	Orthomed Osteotomy & Ligament Staples	Osteotomy Staple.  Cast Chromium-cobalt 	15mm	$110.00

non-absorbable. Stainless Steel non-

absorbable.  Non-sterile 57-75

OC012	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt 	6mm	$80.00

staples, non-absorbable. Non-sterile

OC013	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt 	8mm	$80.00

staples, non-absorbable. Non-sterile

OC014	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt 	11mm	$80.00

staples, non-absorbable. Non-sterile

OC015	Orthomed Osteotomy & Ligament Staples	Ligament Staple.  Cast Chromium-cobalt 	16mm	$80.00

staples, non-absorbable. Non-sterile

Orthopaedic Solutions Pty Ltd

OE001	BIOProfile Modular Pyrocarbon Radial/Ulna 	A Modular Titanium/Pyrocarbon Radial/Ulna 	Small, Medium, Large & X-Large	$5,261.00

Head	head Prosthesis which includes a stem, neck,

head and expansion screw.

OE002	BioProfile Pyrocarbon Carpal Components	Includes: Proximal Scaphoid; Scapho-	One Size Only	$4,350.00

Trapezium; Resurfacing Capitate & Trapezium

Interposition Implants. Composition:

Pyrolitic Carbon

OE004	Futura Domed Subtalar Implant	UHMWPE	Extra small, small, medium, large, 	$1,290.00

extra large

OE005	Futura Conical Subtalar Implant	Titanium	7 - 12	$1,390.00

OE006	Stayfuse	Titanium inter-digital fusion device	Screw 2.8 - 3.8mm or 3.8 x 6mm, 	$309.00

4.3 x 6mm, 5.0 x 5mm, 5.0 x

6mm;  Hex 2.5 - 3.0mm

Orthotech Pty Ltd

OH003	Pro-Osteon Implants 500	Granules	10mm x 10mm x 10mm (1cc) 	$430.00

OH004	Pro-Osteon Implants 500	Granules	10mm x 10mm x 40mm (4cc) 	$1,325.00

Prostheses List by Category and Sponsor	Page 307 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH005	Pro-Osteon Implants 500	Granules	10 x 20 x 50mm (10cc) Block	$2,540.00

OH008	Pro-Osteon Implants 500	Granules	10cc	$1,110.00

OH010	Pro-Osteon Implants 500	Granules	20cc	$1,600.00

OH014	Pro-Osteon Implants 200	Block	20 x 15 x 10mm Block	$825.00

OH016	Pro-Osteon Implants 200	Block	0.8cc x 5 Syringes Grannules	$200.00

OH019	Bone Plast Bone Void Filler	Powder	20cc	$1,903.00

OH020	Optetrak Total Knee System	Femoral Component	Size 1 -  6	$3,432.00

OH021	Optetrak Total Knee System	Tibial Component	Size 1 -  6	$2,132.00

OH022	Optetrak Total Knee System	Insert	Size 1 -  6	$1,300.00

OH023	Optetrak Total Knee System	Patella	32 - 42mm	$614.00

OH024	Optetrak Total Knee System	CCK Femoral Component	Size 1 - 6	$3,068.00	$6,240.00

OH025	Optetrak Total Knee System	CCK Tibial Insert with Screw	Size 1 - 6	$1,560.00

OH026	Optetrak Total Knee System	CCK Tibial Augmentation Block	Size 1 - 6	$764.00

OH027	Optetrak Total Knee System	CCK Tibial & Femoral Stems	Size 1 - 6	$3,011.00

OH029	Optetrak Total Knee System	CCK Femoral Augmentation Block	Size 1-6	$1,628.00

OH055	Pro Osteon Implants 200	Granules, Porous Hydroxyapatite Bone Void 	5cc Syringe	$280.00

Filler

OH056	Optetrak Total Knee System	Tibial Stem Screw	One size only	$764.00

OH057	Opetrak Total Knee System	Femoral Stem Extension Adapter	One size only	$764.00

OH059	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11 - 21mm x 135-165mm	$3,640.00

OH060	Exactech Total Hip System	Modular Titanium Revision Hip - 	21 - 23mm, S, M, L, XL	$2,288.00

Metaphyseal Segment

OH061	Exactech Total Hip System	Modular Titanium Revision Hip - Neck 	32 - 49mm, -5 - +30mm	$2,288.00

Segment

OH062	Acumatch M-Series Total Hip System	Modular Titanium Revision Hip - Cobalt 	-2 to -5mm, +0 to 10mm	$745.00	$1,248.00

Chrome Head

OH082	Lima RPS Tumor System	RPS Humeral Head	46, 52, 58mm	$3,680.00

OH083	Lima RPS Tumor System	RPS Total Shoulder Replacement Stem	200, 240, 280mm	$6,900.00

OH084	Lima RPS Tumor System	RPS Additional Spacer	40, 60, 90, 120mm	$1,900.00

OH085	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Uncemented Stem	8 - 16mm	$2,800.00

Prostheses List by Category and Sponsor	Page 308 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH086	Randelli/SMR Total Shoulder	Randelli/SMR Neutral Taper	0 - 6mm	$950.00

OH087	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Head	42, 46, 50, 54mm	$2,330.00

OH088	Randelli/SMR Total Shoulder	Randelli/SMR Eccentrical Adapter	0 - 6mm	$1,000.00

OH089	Randelli/SMR Total Shoulder	Randelli/SMR Humeral Body with Locking 	One size only	$2,580.00

Screw

OH090	Randelli/SMR Total Shoulder	Randelli/SMR Shoulder Cemented Stem	8, 10, 12, 14, 16mm	$2,900.00

OH091	Lima RPS Femoral System	Cemented Revision Stem	280, 330, 380mm	$7,176.00

OH092	Lima RPS Femoral System	Modular Spacer	20 - 144mm	$3,640.00

OH093	Lima Total Hip Replacement System	Ceramic/Femoral Head (Biolox Forte)	Small, Medium, Large	$2,000.00

OH094	Lima Total Hip Replacement System	Uncemented Cup with HA/Porous Coat	44 - 66mm	$2,600.00

OH095	Lima Total Hip Replacement System	Ceramic Liner	A, B, C, D, E	$2,496.00

OH096	Lima Total Hip Replacement System	Protruded UHMWPE Liner	A, B, C, D, E	$884.00

OH097	Lima Total Hip Replacement System	F2L Multineck Femoral Stem Uncemented 	1 - 6	$4,605.00

HAC & Porous Coating

OH098	Lima Total Hip Replacement System	F2L Modular Neck - Titanium	Short & Long (Straight & Angled)	$1,227.00

OH100	Lima Total Hip Replacement System	Friendly Stem Cemented Hip	0, 1, 2, 3	$2,317.00

OH101	Lima Total Hip Replacement System	H-MOOS Cemented Hip	1 - 5	$2,080.00

OH102	Lima Total Hip Replacement System	UHMWPE Cement Plug	8mm - 16mm	$250.00

OH103	Lima Total Hip Replacement System	Heads - Bi-Polar and Fixed	22, 28, 32mm	$1,872.00

OH104	Lima Total Hip Replacement System	Mueller Ceramic and UHMWPE Cup 	44 - 62mm	$1,768.00

(Cemented)

OH105	Lima Total Hip Replacement System	Mueller UHMWPE Cup (Cemented)	44 - 62mm	$750.00

OH108	Lima Total Hip Replacement System	Acetabular Revision Plate	50, 54, 58, 62, 64mm	$2,288.00

OH109	Lima Total Hip Replacement System	SPH Revision Cup	50 - 66mm	$5,096.00

OH110	Lima Total Hip Replacement System	Lateralising Spacer	B, C, D, E	$1,055.00

OH111	Lima Total Hip Replacement System	Titanium  Bone Screw	20 - 60mm	$230.00

OH112	Lima Total Hip Replacement System	Titanium Revision Bilobo Cup	50 - 58mm	$5,720.00

OH113	Randelli/SMR Shoulder System	Cemented Glenoid	Mini, Small, Standard	$1,990.00

OH114	Randelli/SMR Shoulder System	Uncemented Glenoid	Mini, Small, Standard	$2,220.00

OH115	Randelli/SMR Shoulder System	Uncemented Glenoid Liner	Mini, Small, Standard	$1,960.00

Prostheses List by Category and Sponsor	Page 309 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH116	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 200mm	$3,640.00

OH117	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 250mm	$6,760.00

OH118	Exactech Total Hip System	Modular Titanium Revision Hip - Stem	11-21mm x 300mm	$7,592.00

OH119	Exactech Total Hip System	Modular Titanium Revision Hip - 	25-27mm, S, M, L, XL	$2,288.00

Metaphyseal Segment

OH120	Exactech Total Hip System	Modular Titanium Revision Hip - 	29-31mm, S, M, L, XL	$2,288.00

Metaphyseal Segment

OH125	Lima Total Hip Replacement System	CRCO Femoral Head	S, M, L, XL, XXL	$745.00	$1,248.00

OH126	Cemex bone cement	1 mix 	1 mix 40g powder and 13.3g liquid	$260.00

Methylmethacrylate/Polymethylmethacrylate

OH127	Cemex-genta bone cement	1 mix Methylmethacrylate/ 	1 mix 40g powder and 13.3g liquid	$350.00

Polymethylmethacrylate with gentamiacin

OH137	Acumatch M-Series Total Hip System - Head	Modular Titanium Revision Hip - Ceramic 	-2 to -5mm, +0 to +10mm	$2,000.00

Head

OH138	Lima Humeral Nail	Stainless steel	Dia 7 - 8mm, length 200 - 300mm	$1,990.00

OH140	Atlas Acetabular Cup System	Titanium & HA	Atlas Cup 40-74mm	$2,600.00	$3,680.00

OH141	Atlas Acetabular Cup System	Titanium & HA	Atlas Poly Insert Std. Dia 28mm	$884.00

OH143	Atlas Acetabular Cup System	Titanium & HA	Atlas Screw Dia 6.5mm 15-50mm L	$312.00

OH144	Coriolis	CrCo - Fixation screws, Support Ring	Fixation Screws - Dia 	$2,288.00

6.5mm/Length 15-50mm

OH145	Coriolis	CrCo - Fixation screws, Support Ring	Support Ring - 44-64	$235.00

OH146	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly 	Tibial - Sml/Med/Large	$1,915.00

Insert UHMWPE

OH147	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly 	Talar - Sml/Med/Large	$2,650.00

Insert UHMWPE

OH148	Ramses Total Ankle Replacement	CrCo, Polyethylene - Tibial, Talar, Poly 	Poly Insert UHMWPE - Sml 10-16/	$725.00

Insert UHMWPE	 Med 11-17/ Large 12-18

OH152	Themis Patellar Femoral	Polyethylene, CoCr, incl Trochlear 	Trochlear Component - Sml/ Med/ 	$2,969.00

Component & Patellar	Large

OH153	Themis Patellar Femoral	Polyethylene, CoCr, incl Trochlear 	Patellar - Sml/ Med/ Large	$1,120.00

Component & Patellar

OH154	Coriolis	Polyethylene Cup	Dia Int. 22-28 -32/ Dia Ext. 40-60	$750.00

Prostheses List by Category and Sponsor	Page 310 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH156	Academia Knee	CoCr, Titanium, Femoral, Tibial, Bearing, 	Tibial Base Plate 40-55	$3,640.00

Stems & Patellar

OH157	Academia Knee	CoCr, Titanium, Femoral, Tibial, Bearing, 	Tibial Insert 40-55/10-20mm	$1,300.00

Stems & Patellar

OH158	Academia Knee	CoCr, Titanium, Femoral, Tibial, Bearing, 	Patellar 34-38mm Dia/ 8-10mm 	$614.00

Stems & Patellar	Thickness

OH159	Academia Knee	CoCr, Titanium, Femoral, Tibial, Bearing, 	Stems 70-140 length/ 10-14mm dia	$743.00

Stems & Patellar

OH160	ESOP HA	Esop Femoral Stem Metaphyseal Ti/HA	Left and Right Size 5-20	$2,652.00	$4,000.00

OH161	ESOP HA	ESOP Femoral Stem Diaphyseal Ti	Size 9-15	$1,482.00

OH162	ESOP HA	Femoral Head CoCr	22.2 -32mm	$745.00	$1,248.00

OH163	ESOP HA	Femoral Head Alumina Ceramic	28mm Diameter	$2,000.00

OH164	Behac Humeral Nail	Stainless Steel Elastic Nail	Large loop and Small Loop	$450.00

OH165	Telegraph Nail	Stainless Steel Antegrade Nail	15cm length, 7-9mm Diameter	$2,500.00

OH167	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Auto Compressive long L10 - L34	$425.00

OH168	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	FSA 2 part 9-21/14-26	$425.00

OH169	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Weil self tapping L9 - L15	$425.00

OH170	Forefoot Snap off Screws	Titanium Alloy Screws with Snap-off Grip	Arthrodesis large diameter L28 - 	$425.00

L40

OH172	Tenolig	Percutaneous Achilles Tendon Repair System	Diameter .85 mm - Length 33 cm	$1,586.00

OH173	Telegraph Screws	Self Stabilizing Screws	24mm - 45mm	$200.00

OH199	Lima Accent Hip System	Total Hip Replacement	1 -6	$2,317.00

OH200	Lima Modulus Hip System	Modular total Hip Replacement, Titanium	Neck w/screw, small and large	$3,000.00

OH201	Lima Modulus Hip System	Modular Total Hip Replacement, Titanium	Femoral Stem 16mm - 26mm	$3,120.00

OH202	Daphne	Metacarpophalangeal Joint Prosthesis	3, 4, 5, 6	$1,040.00

OH203	Altius Occipito-Cervico-Thoracic (OCT) System	Rod	8 to 24cm x 3.5mm Occipital and  	$759.00

Curved Rod

OH212	Optetrak Total Knee System	Femoral Component	Size 1 -  6	$3,116.00	$4,264.00

OH217	Lima Total Hip Replacement System	Modular Revision Hip Titanium Stem 	14, 16, 18, 20, 22, 24	$6,760.00

(Uncemented)

OH218	Lima Total Hip Replacement System	Revision Titanium	50 - 110mm	$3,952.00

Prostheses List by Category and Sponsor	Page 311 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH219	Exactech Total Hip System	Modular Titanium Revision Hip - 	21-31mm	$3,120.00

Metaphyseal Segment - Calcar

OH220	Atlas Acetabular Cup System	Titanium & HA	Atlas Alumina Insert Dia 28mmort	$2,496.00

OH223	Academia Knee	CoCr, Titanium, Femoral, Tibial, Bearing, 	Femoral Implant 40-55	$3,727.00	$4,264.00

Stems & Patellar

OH226	Exactech Femoral Stem	Novation C - Series Femoral Stem	1-8	$2,000.00

OH227	Lima C2 Femoral Stem	Ti Femoral Stem	1-8	$3,900.00

OH228	FH Thira Femoral Stem	Ti & HA Femoral Stem	1-10	$3,900.00

OH229	Lima Metal Liner	Metal Liner	28mm, 32mm and 36mm	$2,000.00

OH230	Optetrak Uni Knee	Uni Femoral Component	1-6	$2,162.00

OH231	Optetrak Uni Knee	Uni Tibial Component	1-6	$1,325.00

OH232	Exactech Femoral Stem	Novation Hip System	9-18	$4,700.00

OH233	Optetrak RBK	Optetrak RBK Femoral Component Cemented	1-6	$3,432.00

OH234	Optetrak RBK	Optetrak RBK Femoral Component 	1-6	$3,727.00

Uncemented

OH235	Optetrak RBK	Optetrak RBK Mobile Insert	1-6	$1,300.00

OH236	Optetrak RBK	Optetrak RBK Mobile Tibia	1-6	$2,500.00

OH237	EUROBONE - Synthetic Bone Substitute	EUROBONE	5cc	$1,500.00

OH238	EUROBONE - Synthetic Bone Substitute	EUROBONE	10cc	$1,800.00

OH239	EUROBONE - Synthetic Bone Substitute	EUROBONE	20cc	$2,400.00

OH275	ABC Prosthetic Ligament	Cruciate prosthesis carbon fibre/polyester, 	12.5cm - 18.5cm; ABC Carbon 	$3,600.00

ABC Carbon/Polyester Medial/Lateral 	Polyester & ABC

Collateral Ligament, ABC Polyester/ Polyester	Polyester/Polyester - one size only

Medial/Lateral Collateral Ligament

OH276	Surgicraft	Fixation Bollard	One size only	$475.00

OH277	Gateshead rod (Arthrotomy set) - pack of 3	Cartilage repair-carbon fibre implant	3 x 12.5mm	$830.00

OH278	Gateshead rod (Arthrotomy set) - pack of 5	Cartilage repair-carbon fibre implant	3 x 12.5mm	$1,045.00

OH279	JRI Total Hip System	JRI Furlong Standard Hip Stem, 12/14 Taper 	12 /14 Taper, and 5mm offset, short 	$5,044.00	$5,300.00

with Supravit Coating, Titanium Alloy	and standard spigot

OH280	JRI Total Hip System	JRI Furlong Active Stem, Titanium Aloy with	12 / 14 Taper, 9-16mm	$5,044.00	$5,300.00

Supravit Coating, 12/14 Taper

Prostheses List by Category and Sponsor	Page 312 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH281	JRI Total Hip System	JRI Furlong Revision Stems, Titanium Alloy 	12 / 14 Taper, 200mm long, 200ml 	$5,200.00	$6,000.00

with Supravit Coating, 12 / 14 Taper	long 5mm offset

OH282	JRI Total Hip System	JRI Furlong Revision Stems, Titanium Alloy 	12 / 14 taper, 250mm long, 250ml 	$5,200.00	$6,400.00

with Supravit Coating, 12 / 14 Taper	long 5mm offset

OH283	JRI Total Hip System	JRI Furlong Revision Plus Stem, Titanium 	12 / 14 Taper, 200mm long and 	$5,200.00	$6,000.00

Alloy with Supravit Zoned Coating, 12 / 14 	200ml long with 5mm offset

Taper

OH284	JRI Total Hip System	JRI Furlong Revision Plus Stem, Titanium 	12 / 14 Taper, 250mm long, and 	$5,200.00	$6,500.00

Alloy with Supravit Zoned Coating, 12 / 14 	250ml long with 5ml offset

Taper

OH285	JRI Total Hip System	JRI Austin Moore Standard Stems 	Head sizes range from 39mm - 	$615.00	$640.00

Hemiarthoplasty. These products has an all-in-	56mm

one head and stem

OH286	JRI Total Hip System	CSF Cup. Titanium Alloy Acetabular Shell 	44mm - 70mm	$2,796.00	$4,500.00

A.C. Supravite Coating

OH287	JRI Total Hip System	Standard and Hooded (10 degree offset) Insert 	28mm, 32mm, 36mm	$613.00	$936.00

OHMW Polyethylene

OH288	JRI Total Hip System	Ceramic Inserts, Alumina oxide	28mm	$2,325.00	$2,600.00

OH289	JRI Total Hip System	CSF Bone Screws, Titanium Alloy	15mm - 50mm	$200.00	$325.00

OH290	JRI Total Hip System	JRI Cemented Acetabular Cup, U.H.M.W 	28mm and 32mm	$572.00	$790.00

polyethylene

OH291	JRI Total Hip System	Acetabular Support Ring, Titanium	44mm, 47mm, 50mm, 54mm	$889.00	$1,700.00

OH292	JRI Total Hip System	Total Hip Replacement (THR) Ceramic 	12 / 14 Taper, Biolox Delta 	$1,625.00	$2,080.00

Femoral Heads, Biolox Delta Ceramic, and 	Ceramic head sizes 28mm, 32mm.

Alumina Oxide	Alumina Oxide head sizes 28mm

OH293	JRI Total Hip System	Cobalt Chrome Femoral; Heads, 12 / 14 Taper	28mm, and 32mm head sizes	$795.00	$950.00

OH294	JRI Total Hip System	Revision Ceramic Femoral Head 12 / 14 	28, 32, 36mm	$1,625.00	$2,080.00

Taper, Biolox Delta Ceramic with Titanium

Alloy Metal sleeve

OH295	JRI Total Hip System	CSF Plus Cup, Ceramic only	44mm - 70mm O/D	$2,704.00	$3,500.00

OH296	JRI Total Hip System	CSF Plus Cup, XPE only	44mm - 70mm O/D	$2,704.00	$3,500.00

OH297	JRI Total Hip System	CSF Plus Cup Liner, Forte and Delta Liner for	28mm, 32mm, 36mm	$2,325.00	$2,800.00

ceramic use only

OH298	JRI Total Hip System	CSF Plus Cup Liner for CSF Plus Cup XPE 	10 degree liners 28mm, 32mm, 36mm	$1,160.00	$1,700.00

only

Prostheses List by Category and Sponsor	Page 313 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

OH299	JRI Total Hip System	JRI Austin Moore Standard Stems 	Head Sizes range from 39mm - 56mm	$615.00	$640.00

Hemiarthroplasty. These prusct has an all-in-

one head and stem

OH300	JRI Total Hip System	Total Hip Replacement (THR) Ceramic 	12 / 14 Taper, Biolox Delta 	$1,852.00	$2,080.00

Femoral Heads, Biolox Delta Ceramic, and 	Ceramic head sizes 36mm. Alumina

Alumina Oxide	 Oxide head sizes 28mm

OH313	Pharo	Pharo Stem, Titanium with HA	1-5mm	$4,000.00

OH314	Pharo	Cephalic Head, CoCr	41-59mm	$988.00	$1,400.00

OH315	Pharo	Intermediate Sleeve	-5 to +10 (six sizes)	$260.00	$900.00

Pacific Medical

PM012	Orthofix External Fixation System Ankle 	Anodised aluminium and stainless steel	One size only	$4,607.00

Fixator

PM013	Orthofix External Fixation System Pennig 	Anodised aluminium and stainless steel	One size only	$3,991.00

Wrist Fixator

PM061	Orthofix External Fixation System Elbow 	Anodised aluminium and stainless steel	One size only	$5,440.00

Fixator

PM062	Orthofix External Fixation System Hybrid 	Anodised aluminium and stainless steel	One size only	$5,220.00

Fixator

PM063	Orthofix External Fixation System Knee 	Anodised aluminium and stainless steel	One size only	$5,955.00

Fixator

PM092	Orthopaedic External Fixation System - 	Complete System Sterile	One size only	$2,055.00

Radiolucent Wrist Fixator

PM095	Orthopaedic External Fixation System	Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 	$115.00

6.0 - 2.0mm, Total Length 40 -

260mm, Thread Length 15 -

100mm

PM097	Orthopaedic External Fixation System	Osteotite Screw	Shaft Dia 3.0 - 6.0mm, Thread Dia 	$149.00

6.0 - 2.0mm, Total Length 40 -

260mm, Thread Length 15 - 90mm

PM098	Orthopaedic External Fixation System - 	Metadiaphyseal Fixator	One size only	$2,429.00

Xcaliber External Fixator

PM099	Orthopaedic External Fixation System - 	Articulated Ankle Fixator	One size only	$3,139.00

Xcaliber External Fixator

PM100	Orthopaedic External Fixation System - 	Hybrid Fixator	One size only	$2,159.00

Xcaliber External Fixator

Prostheses List by Category and Sponsor	Page 314 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PM108	Orthofix Limb Reconstruction System	Adult and paediatric - Short, 	$6,500.00

Standard and Long

PM109	Orthofix External Fixation Systems	MiniRail System	Short, Standard, Long and 	$2,150.00

Articulated Horizontal and Vertical

Axis

PM110	Orthofix External Fixation Systems	Pennig Minifixator	Short, Standard, Long	$4,800.00

PM111	Gotfried PC.C.P.	Internal Hip Compression Plate	One size only	$750.00

PM112	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Neck L90 - 140mm; Primary 	$190.00

Locking L20 - 75mm

PM113	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Shaft L31-43mm:	$54.00

PM114	Neck, Shaft & Locking Screws	Telescopic, Self-Tapping, Primary, Revision	Revision Locking L20-75mm	$312.00

PM116	ISKD Internal Limb Lengthening System	Titanium Alloy	Diameter 12.5 - 14.5mm	$16,500.00

Plus Orthopedics Australia Pty Ltd

PL004	Toefit - Plus	Titanium alloy	Metatarsal Component XS-L	$810.00

PL005	Toefit - Plus	Titanium Alloy	Phalangeal Component XS-L	$790.00

PL006	PLUS Endoprothetik Cerclage Systems	CCG Band - Pure Titanium	Length 27cm	$450.00

PL007	PLUS Endoprothetik Cerclage Systems	CCG-GF Band with fixation spikes - Pure 	Length 27cm	$625.00

Titanium

PL008	PLUS Hip Joint Prosthesis System	PLUS cementless grit blasted titanium stem 	01-12	$3,588.00

standard and offset

PL009	PLUS Hip Joint Prostheses System	SL PLUS Ti/Ha Stem	1 to 12	$5,044.00

PL010	PLUS Hip Joint Prostheses System	Revision SLR-PLUS Ti Stem	1 to 12	$5,408.00

PL011	PLUS Hip Joint Prostheses System	Revision SLR-PLUS Stem with TiVPS/HA	3 to 11	$5,304.00

PL012	PLUS Hip Joint Prostheses System	Revision Modular Proximal Stem	1 to 12	$5,304.00

PL013	PLUS Hip Joint Prostheses System	Revision Modular Component	1 to 12	$4,472.00	$5,100.00

PL014	PLUS Hip Joint Prostheses System	CPS-PLUS Stem	1 to 5	$1,923.00

PL015	PLUS Hip Joint Prostheses System	CPS-PLUS Rev Stem	1 to 5	$3,495.00

PL016	PLUS Hip Joint Prostheses System	Bicon-PLUS PE - Liner	1 to 9	$862.00

PL017	PLUS Hip Joint Prostheses System	Bicon-PLUS PE - Hooded Liner	1 to 9	$862.00

PL018	PLUS Hip Joint Prostheses System	Bicon-PLUS / Ceramic Liner	3 to 9	$2,533.00

PL019	PLUS Hip Joint Prostheses System	Bicon-PLUS Met Liner	1 to 9	$1,975.00

Prostheses List by Category and Sponsor	Page 315 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL020	PLUS Hip Joint Prostheses System	Bicon-PLUS Porosis Cup	1 to 9	$2,569.00

PL021	PLUS Hip Joint Prostheses System	EP Fit PLUS Ti/HA Cup	40 - 68mm Dia	$2,796.00

PL022	PLUS Hip Joint Prostheses System	EP Fit Multi/Hole Cup	40 - 68mm Dia	$2,300.00

PL023	PLUS Hip Joint Prostheses System	EP Fit PE Liner	40 - 68mm Dia	$875.00

PL024	PLUS Hip Joint Prostheses System	EP Fit Ceramic Liner	48 - 68mm Dia	$2,533.00

PL025	PLUS Hip Joint Prostheses System	EP Fit PLUS Met Liner	48 - 68mm Dia	$1,975.00

PL026	PLUS Hip Joint Prostheses System	EP Fit Rex Pol Liner	42 - 68mm Dia	$1,160.00

PL027	PLUS Knee Joint Prostheses System	TC-PLUS Solution (Cemented) Fem	2 to 12	$3,411.00

PL028	PLUS Knee Joint Prostheses System	TC-PLUS Solution (Cementless) Fem	2 to 12	$3,380.00	Also grouped in Knee Groups 3b, 5e,

10

PL029	PLUS Knee Joint Prostheses System	TC-PLUS Tibial Cementless	2 to 12	$2,250.00

PL030	PLUS Knee Joint System	Tibial Tray Cemented Mobile Bearing	2 to 12	$2,536.00

PL031	PLUS Knee Joint Prostheses System	TC-PLUS Tibial Insert Mobile Bearing 	2-12 : 9-19mm	$1,054.00

C.R./C.S.

PL032	PLUS Knee Joint Prostheses System	TC-PLUS Patella	26mm, 29mm, 32mm, 35mm	$614.00

PL033	PLUS Endoprothetik Cerclage System	CCG Stabilizer with Band	XS - L	$1,290.00

PL034	Femoral Head Metal	Stainless Steel	=< 32mm	$811.00

PL035	PLUS Hip Joint Prostheses System	Fem Head Ceramic	S,M,L - 28mm/32mm	$1,625.00

PL036	PLUS Hip Joint Prostheses System	Fem Head Plusmet	S-XXL - 28mm/32mm	$1,560.00

PL037	PLUS Hip Joint Prostheses System	Unipolar Head	38-60 S/M	$571.00

PL038	PLUS Hip Joint Prostheses System	Bipolar Head	39mm-60mm	$1,579.00

PL039	PLUS Hip Joint Prostheses System	Bofor Rev Shell	48-70mm dia	$4,170.00

PL040	PLUS Hip Joint Prostheses System	CPS Centralizer proximal and distal	1 to 5	$180.00

PL041	PLUS Hip Joint Prosthesis System	Cancellous bone screw titanium	15-60mm long 6.4mm dia	$280.00

PL042	PLUS Hip Joint Prosthesis System	constrained liner	1 - 9, 28mm, 32mm	$1,481.00	$1,700.00

PL043	PLUS Hip Joint Prosthesis System	Bofor revision Liner standard & antidislocation	48 -70mm dia	$1,481.00	$1,919.00

PE

PL044	PLUS Hip Joint Prosthesis System	PLUS PE cemented cup	42 -64mm dia	$750.00

PL045	Toefit - Plus	Chromium Cobalt	Distal Insert 13 - 17mm	$740.00

Prostheses List by Category and Sponsor	Page 316 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL046	Toefit - Plus	Polyethylene	Polyethylene Distal Insert 11 - 	$530.00

15mm

PL047	Toefit - Plus	Chromium Cobalt	Proximal Insert 6, 7, 8	$800.00

PL048	PLUS SB Total Knee Replacement - 	Ti-Plasma Sprayed Tibial Component	2, 4, 6, 8, 10, 12	$3,900.00

Uncemented Tibial Component

PL049	UC-PLUS Tibial Component All Poly	Tibial Component All Poly	40 (8mm, 10mm, 12mm, 14mm), 	$845.00

44 (8mm, 10mm, 12,, 14mm), 48

(8mm, 10mm, 12mm, 14mm), 52

(8mm, 10mm, 12mm, 14mm), 56

(8mm, 10mm, 12mm, 14mm)

PL050	UC-PLUS Solution Knee System	Unicompartmental Femur Cemented	Femoral - 4, 6, 8, 10.	$2,153.00

PL051	Bicon - PLUS	Cementless Cup	01, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9	$2,569.00

PL052	PLUS Hip Joint Prostheses System	Cover for HI shell	3-5, 6-11	$250.00

PL053	Plus Knee Joint Prostheses System	Femoral Cementless	1-6	$3,500.00	$3,744.00

PL054	Plus Hip Joint Prosthesis System	HXLPE Insert	=<32mm	$1,160.00

PL055	Plus Hip Joint Prosthesis System	HXLPE Insert	>32mm	$1,160.00

PL057	Femoral Head	Chrome Cobalt	=< 32mm	$795.00

PL058	Plus Hip Joint Prosthesis System	Ceramic Dysplasia Insert	3-9	$2,533.00

PL059	PLUS Hip Joint Prostheses System	Acetabular Shell	3-11	$2,704.00

PL060	PLUS Hip Joint Prostheses System	Ceramic Insert	<32mm	$2,533.00

PL061	PLUS Hip Joint Prostheses System	Ceramic Insert	>32mm	$2,558.00

PL062	PLUS Hip Joint Prostheses System	HXLPE	=<32mm	$1,160.00

PL063	PLUS Hip Joint Prostheses System	HXLPE	>32mm	$1,160.00

PL064	PLUS Hip Joint Prostheses System	PE Insert	=<32mm	$884.00

PL065	PLUS Hip Joint Prostheses System	Metal Insert	=<32mm	$1,975.00

PL066	PLUS Knee Joint Prostheses System	TC-PLUS Tibial Insert Ultra Congruent	2-12 : 9-19mm	$1,120.00

PL067	Plus Knee Joint Prostheses System	Tibial Insert SB	1-6	$1,248.00

PL068	Plus Knee Joint Prostheses System	Femoral Cemented	1-6	$3,640.00

PL069	Plus Knee Joint Prostheses System	Tibia Cemented	1-6	$2,132.00

PL070	Plus Knee Joint Prostheses System	Tibia cementless	1-6	$2,355.00

PL071	Plus Knee Joint Prostheses System	Tibia SB cemented	1-6	$2,680.00

Prostheses List by Category and Sponsor	Page 317 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL072	Plus Knee Joint Prostheses System	Tibia SB Cementless	1-6	$3,900.00

PL074	Plus Hip Joint Prosthesis System	Metal Dysplasia Insert	1-9	$1,975.00

PL075	Plus Knee Joint Prostheses System	Tibial Insert Substituted	1-6	$1,073.00

PL076	PLUS Hip Joint Prosthesis System	Femoral Metal Head - Standard Metal	>32mm	$1,560.00

PL077	Plus Knee Joint Prostheses System	TC Plus Solution, Femur PS	2-12	$3,727.00	$4,992.00

PL078	Plus Knee Joint Prostheses System	TC Plus Solution, Tibial Insert PS	2-12	$1,073.00

PL079	Plus Hip Joint Prostheses System	EP Fit Acetabular Shell TiVPS	42-68	$2,300.00

PL080	Plus Hip Joint Prostheses System	HXLPE Liner	>32mm	$1,160.00

PL081	Plus Hip Joint Prostheses System	Ceramic Insert	>32mm	$2,558.00

PL082	Plus Knee Joint Prostheses System	Tibial Insert Standard	1-6	$845.00

PL083	PLUS Knee Prostheses System	RT PLUS Modular Hinged Knee - Stem 	95 -120	$1,997.00

uncemented

PL084	PLUS Knee Joint Prostheses System	Revision - Tibial Augments	5mm, 10mm, 15mm	$1,446.00

PL085	PLUS Knee Joint Prostheses System	Revision - Stems Cemented	80-150	$2,184.00

PL086	PLUS Knee Joint Prostheses System	Revision - Stems Cementless	10/80 - 20/150	$2,184.00

PL087	PLUS Knee Joint Prostheses System	Revision - Stems cementless valgus	10/80 - 20/150	$2,288.00

PL088	PLUS Knee Joint Prostheses System	Revision - Tibial insert substituted	1-5	$1,196.00

1-5

PL089	PLUS Knee Prostheses System	RT PLUS Modular Hinged Knee - Femur	0-10	$7,488.00

PL090	PLUS Hip Joint Prostheses System	Metal Insert	>32mm	$2,288.00

PL091	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Stem cemented	95-160	$2,184.00

PL092	PLUS Knee Joint Prostheses System	TC PLUS Revision - Femur	2 - 10	$6,084.00

PL093	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Stem uncemented	95 - 160	$2,340.00

PL094	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Stem uncemented	200	$2,808.00

PL095	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Femoral augments	5-15mm	$1,420.00

PL096	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Tibial augments	5-15mm	$1,420.00

PL097	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Tibial insert with 	0-10	$1,966.00

clamp

PL098	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Screws and clamp	0-10	$884.00

PL099	PLUS Knee Prostheses System	RT PLUS Hinged Knee - Tibia	0-10	$3,536.00

Prostheses List by Category and Sponsor	Page 318 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL100	PLUS Hip Joint Prosthesis System	MPF Cup - Cermaic Insert	>32mm	$2,558.00

PL101	PLUS Knee Joint Prostheses System	TC-PLUS Tibial Cementless	2 to 12	$2,355.00

PL102	PLUS Hip Joint Prosthesis System	Ceramic Head AL	>32mm	$1,852.00

PL104	PLUS Hip Joint Prosthesis System	Ceramic Head Delta	>32mm	$2,042.00

PL105	PLUS Hip Joint Prosthesis System	Ceramic Head Revision	22-60	$1,872.00	To be used with Billing Code

PL106	PLUS Hip Joint Prosthesis System	MPF Cup - Acetabular shell	46 - 68mm	$2,300.00

PL107	PLUS Knee Joint Prostheses System	Revision - Femoral Augments	5mm, 10mm, 15mm	$1,144.00

PL108	PLUS Hip Joint Prosthesis System	MPF Cup - Ceramic Insert	<32mm	$2,533.00

PL109	PLUS Knee Joint Prostheses System	TC Plus Revision - Tibia	2 - 10	$3,536.00

PL110	PLUS Hip Joint Prosthesis System	MPF Cup - Metal Insert	<=32mm	$1,975.00

PL111	PLUS Hip Joint Prosthesis System	MPF Cup - Metal Insert	>32mm	$2,288.00

PL112	PLUS Hip Joint Prosthesis System	MPF Cup - HXLPE Inserts	<=32mm	$1,160.00

PL113	PLUS Hip Joint Prosthesis System	MPF Cup - HXLPE Inserts	>32mm	$1,160.00

PL114	PLUS Hip Joint Prosthesis System	MPF Cup - PE Inserts	46-64	$884.00

PL115	PLUS Hip Joint Prosthesis System	SBG Femoral Stem HA	05 - 7	$4,420.00

PL116	PLUS Hip Joint Prosthesis System	Femoral Head Metal - PLUSMET	>32mm	$2,026.00

PL117	PLUS Hip Joint Prosthesis System	MPF Cup - Revision shell	46 to 72	$2,300.00

PL118	Plus Hip Joint Prosthesis System	Titanium Sleeve adaptor for revision fractured 	$969.00	To be used with Billing Code

ceramic

PL119	Promos Shoulder Replacement	Humeral Stem	01, 0, 1, 2, 3, 4	$2,560.00

PL120	Promos Shoulder Replacement	Body	30 - 35 - 40mm	$2,500.00

PL121	Promos Shoulder Replacement	Inclination Set	20 - 22 - 24 - 26mm	$1,220.00

PL122	Promos Shoulder Replacement	Ball head anatomic	R19/H14-R26/H21	$2,750.00

PL123	Promos Shoulder Replacement	Glenoid	1-23: - 4-29	$1,300.00

PL124	Proxy Plus Cementless Hip	Grit Blasted Ti Alloy	5-20 various offsets	$3,588.00

PL126	Reko Reconstruction Cage	Reconstruction Cage	44-52 Lt & Rt	$1,066.00

PL127	Reko Reconstruction Cage	Spacer for Reconstruction Cage	5mm, 10mm, 15mm	$1,035.00

PL128	Reko Reconstruction Cage	Fixation Screw for spacer	1 size	$250.00

PL129	Reko Reconstruction Cage	Cancellous bone screw	6.5 x 20, 6.5 x 55	$320.00

Prostheses List by Category and Sponsor	Page 319 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL130	UC-PLUS Solution Knee System	Unicompartmental Tibial Tray Cemented	Tibial - 40 - 56 x (8, 10, 12, 	$1,553.00

PL131	UC-PLUS Solution Knee System	Unicomprtmental Tibia Insert Cemented	$680.00

PL132	POLARSTEM FEMORAL STEM SYSTEM	CEMENTLESS GRIT BLASTED WITH HA	0-8	$4,100.00

STEM STANDARD AND LATERAL 10/12

TAPER AND 12/14 TAPER

PL133	POLARSTEM FEMORAL STEM SYSTEM	CEMENTLESS  WITH TITANIUM 	0-8	$4,800.00

COATING HA STEM STANDARD AND

LATERAL 10/12 TAPER AND 12/14

TAPER

PL134	POLARSTEM FEMORAL STEM SYSTEM	CEMENTED POLISHED TAPERED STEM 	0-8	$2,200.00

STANDARD AND LATERAL 10/12 TAPER

AND 12/14 TAPER

PL135	POLARSTEM FEMORAL STEM SYSTEM	FEMORAL HEAD STAINLESS STEEL 	22-28MM	$790.00

FOR POLAR STEM

PL136	POLARSTEM FEMORAL STEM SYSTEM	FEMORAL HEAD CERAMIC FOR POLAR 	28MM	$1,625.00

STEM

PL137	POLARSTEM FEMORAL STEM SYSTEM	CEMENTLESS WITH TITANIUM 	0-8	$4,500.00

COATING STANDARD AND LATERAL

10/12 TAPER AND 12/14 TAPER

PL138	PLUS HIP JOINT PROSTHESES SYSTEM	SL PLUS GRIT BLASTED TITANIUM 	01-12	$3,588.00

MIA STEM STANDARD AND LATERAL

PL139	PLUS HIP JOINT PROSTHESES SYSTEM	SL PLUS  TITANIUM TVPS/HA MIA 	01-12	$5,044.00

STEM STANDARD AND LATERAL

PL140	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY SHELL TITANIUM VPS	43-67MM	$2,350.00

SYSTEM

PL141	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY SHELL TITANIUM VPS	43-67MM	$3,350.00

SYSTEM	 WITH PEGS AND FLANGES

PL142	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY SHELL TITANIUM VPS	43-67MM	$2,691.00

SYSTEM	 HA

PL143	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY SHELL TITANIUM VPS	43-67MM	$3,726.00

SYSTEM	 HA WITH PEGS AND FLANGES

PL144	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY  VPS SHELL GRIT 	43-67MM	$2,588.00

SYSTEM	BLASTED HA

PL145	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY VPS SHELL GRIT 	43-67MM	$3,623.00

SYSTEM	BLASTED HA WITH PEGS AND

FLANGES

Prostheses List by Category and Sponsor	Page 320 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PL146	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY VPS SHELL 	43-63MM	$1,800.00

SYSTEM	CEMENTED

PL147	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY CONSTRAINED LINER 	22.2-28MM BY 43-67MM	$1,481.00	$1,780.00

SYSTEM	FOR POLAR CUP

PL148	POLAR CUP ACETABULAR CUP 	DUAL MOBILITY CONSTRAINED LINER 	22.2-28MM BY 43-67MM	$1,481.00	$2,188.00

SYSTEM	FOR POLAR CUP - MODIFIED

POLYETHYLENE

PL149	Polar Cup Acetabular Cup System	Impacting Anchorage Pegs for Polar Cup Shell	15mm	$260.00

PL150	Polar Cup Acetabular Cup System	Corital Screws for Polar Cup Shell	4.5mm by 40-60mm	$122.00

PL151	Polar Cup Acetabular Cup System	Acetabular Reconstruction Cage	43 - 78	$1,066.00

PL152	Plus Knee Prostheses System	RT Plus Hinged Knee/Plus Revision Knee: 	15mm	$1,872.00

Femoral/Tibial Augments

PL153	Plus Knee Prostheses System	PlusRevision Knee: Offset Stems Femur/Tibia	10/80mm - 12/150mm	$2,142.00	$2,480.00

PL154	Plus Knee Prostheses System	PlusRevision Knee: Posterior Stabilised 	2-10mm	$3,011.00	$5,760.00

Revision Femur

PL155	Plus Knee Prostheses System	Plus Knee System: Cementless Patella	8-26mm - 12/35mm	$785.00

PL156	Plus Hip Joint System	Ceramic Delta Acetabular Liners	44mm-72mm *28mm - 44mm	$2,558.00

PL157	Plus Hip Joint System	Femoral Head Delta Ceramic	<32 - S, M, L, XL	$2,042.00

Portland Orthopaedics (Aust) Pty Ltd

PD001	Femoral Head	CoCr Alloy	28mm, 32mm 4 lengths	$745.00

PD002	Margron DTC Hip Replacement	Cobalt chrome Margron Oncology/Revision 	YY6, YY7, ZZ6, ZZ7, Dia 17mm-	$4,504.00

Module	29mm

PD004	Margron DTC Hip Replacement	Femoral Stem CoCr HA	Product Size Range: Y+0-Y+2, 	$2,777.00

Z+0-Z+2, 1+0-1+2, 2+0-2+2, 3+0-

3+2, 4+0-4+2, 5+0-5+2, 6+0-6+2,

7+0-7+2 Length: 92.5-150mm,

Diameter: Y:8.0mmx17.0mm,

Z:9.0mmx19.0mm,

1:10.0mmx21.0mm,

2:11.5mmx23.0mm,

3:13.0mmx25.0mm,

4:13.5mmx27.0mm,

5:14.0mmx29.0mm,

6:14.0mmx31.0mm,

7:14.0mmx33.0mm

Prostheses List by Category and Sponsor	Page 321 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

PD005	Margron DTC Hip Replacement	Neck  Module CoCr	X, Y Offset 31mm Vert Height 22mm	$3,034.00

PD006	Margron DTC Hip Replacement	Femoral Head (Ceramic)	28mm, 32mm 3 lengths	$1,515.00

PD009	Margron DTC Hip Replacement	Cobalt Chrome, Revision Modular, HA 	Y+1, Y+2, Y+3, Y+4, Y+5, Z+1, 	$5,663.00

Coated, Double Threaded Cone Stem	Z+2, Z+3, Z+4, Z+5 Diameter

17mm - 19mm in 2mm increments

PD011	Margron DTC Hip Replacement	Cobalt Chrome, Revision Modular, HA 	1+1, 1+2, 1+3, 1+4, 1+5, 2+1, 	$5,663.00

Coated, Double Threaded Cone Stem	2+2, 2+3, 2+4, 2+5, 3+1, 3+2,

3+3, 3+4, 3+5, 4+1, 4+2, 4+3,

4+4, 4+5, 5+1, 5+2, 5+3, 5+4,

5+5, 5+6, 6+1, 6+2, 6+3, 6+4,

6+5, 6+6 Diameter 21mm-33mm in

2mm increments

PD012	Margron DTC Hip Replacement	Neck  Module CoCr	AZ, A, B, C, BA, CA, CB, B+4, 	$3,034.00

C+6, CB+6 Offset-35mm-52mm

Vert Height 25mm-35mm

PD013	Margron DTC Hip Replacement	Cobalt chrome Margron Oncology/Revision 	AA6, AA7, AZ6, AZ7, BA6, BA7, 	$4,504.00

Module	BB6, BB7, CA7, CB7, CC7, Dia

21mm - 29mm

PD014	Femoral Head	CoCr Alloy	36mm, 38mm in 4 lengths	$936.00

PD015	Margron DTC Hip Replacement	Femoral Head (Ceramic)	36mm, 38mm in 3 lengths	$1,515.00

PD016	Equator Plus Cup	3-Hole, plasma sprayed shell	44-70	$2,080.00

PD017	Equator Plus Cup	5-hole plasma sprayed shell	44-70	$2,080.00

PD018	Equator Plus Cup	UHMWPE encased in CoCr surround	28/46, 28/50, 28/52, 28/56, 28/60, 	$613.00

32/52, 32/56, 32/60, 36/56, 36/60

PD019	Equator Plus Cup	Ceramic surrounded in CoCr taper ring	28/37/46, 28/39/50, 28/41/52, 	$2,500.00

28/44/56, 28/48/60, 32/39/50,

32/41/52, 32/44/56, 32/48/60,

36/44/56, 36/48/60

PD020	Equator Plus Cup	Bone Screw	6.5mm x 15mm - 50mm	$225.00

PD021	M-COR Modular Hip System	M-COR Uncemented Femoral Stem, Ti6AI4V	29-9Z to 47-17A	$2,400.00

PD022	M-COR Modular Hip System	M-COR Uncemented Femoral Neck, Ti6AI4V	31Z to 51A	$1,500.00

PD023	M-COR Modular Hip System	M-CS Cemented Femoral Stem, CoCr	Size 1 - Size 8	$1,707.00

Prostheses List by Category and Sponsor	Page 322 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Smith & Nephew Surgical Pty Ltd

SN001	TC 100 Quarter Tubular plates (2.7mm cortex 	Sterile	23 - 63mm	$42.00

screws)

SN002	TC 100 3.5mm Cortical Screws	Hex, Cruciate or Self Tapping	45 - 85mm	$38.00

SN003	Hydroxylapatite coated Primary Femoral 	Image Hip Stem, Titanium, left and right	Sizes 9 - 18	$4,576.00

Stems

SN004	Bioabsorbable screw	BioRCI-HA Screw, Medial, Portal, Reverse 	7 x 20mm - 12 x 35mm	$350.00

thread, Tibial specific, Trans-tibial

SN006	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	Straight 3-6 holes, T-Plates 3-4 holes	$155.00

SN007	TC 100 3.5mm Cortical Screws	Sterile, Hex or Cruciate	10 - 40mm	$15.00

SN008	Rotorloc Absorbable PLA Suture Anchor 	-	One size only	$305.00

System

SN010	Basis Femoral Component	Hip stem, Cobalt Chromium	Length 115 - 135mm	$1,150.00

SN011	TC 100 3.5mm Small Fragment 	Sterile, 14 - 26 hole	169 - 265mm	$294.00

(Compression) plates

SN012	TC 100 3.5mm One Third Tubular plates	Sterile, 2 - 8 holes	25 - 97mm	$42.00

SN013	TC 100 3.5mm Curved Reconstruction plates	Sterile, 6 - 8 holes	70 - 94mm	$183.00

SN014	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	14 - 60mm	$19.00

SN018	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	100 - 145mm	$60.00

SN019	Low Profile Classic Compression Hip Screw 	130 - 150 deg Hot forged stainless steel	5 - 6 holes	$365.00

System

SN020	Osteotomy Plates	Blade, 130 deg Adult osteotomy	50 - 110mm	$975.00

SN021	Osteotomy Plates	Blade, 95 deg Adult osteotomy	50 - 80mm	$395.00

SN022	Osteotomy Plates	Blade, Adult osteotomy 4 hole	40 - 80mm	$983.00

SN023	Osteotomy Plates	Blade, 90 deg adolescent osteotomy 3 hole	40 - 60mm	$294.00

SN024	Osteotomy Plates	Blade, 130 deg Angled Blade Plate Small 	shaft 60 - 152mm	$20.00

Stature 50 - 80mm

SN025	Osteotomy Plates	Blade, 95 deg Condylar Blade 40 - 70	Shaft 92 - 156mm	$56.00

SN026	135 degree Angled Blade Plates	-	Shaft length 60 - 200mm	$200.00

SN031	Original Ilazarov System	External circular fixation system, stainless steel	Adult and Paediatric	$10,165.00

and composite carbon fibre

Prostheses List by Category and Sponsor	Page 323 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN032	Compass Universal Hinge	Circular external hinged fixator, graphite 	One size only	$8,530.00

composite

SN033	Distal Radius System	Distal Radius External Fixation System, 	One size only	$3,600.00

composition - carbon fibre, modular rod and

clamp system

SN034	Hex Fix External Fixator System	Composition either aluminium, graphile 	6.4mm Diameter (65-125mm 	$6,945.00

composile or stainless steel.  System 	lengths)

comprises of hex bar, clamps, spools and pins.

SN035	Colles Gold External Fixator System	Dynamic external fixator, anodised aluminium 	One size only	$2,240.00

for distal radius fractures reduction

SN044	TC 100 3.5mm Small Fragment 	Sterile, 2 - 7 holes	25mm - 85mm	$81.00

(Compression) Plates

SN046	TC 100 2.0mm Condylar plates	Sterile, Left and right	7 holes	$190.00

SN061	TC 100 4.5mm Cortical Screws	Hex, Cruciate or Self-tapping	62 - 95mm	$35.00

SN062	TC 100 4.5mm Narrow Compression plates	Sterile, 5 - 7 holes	87 - 119mm	$95.00

SN063	TC 100 2.7mm Small Fragment 	2 - 12 holes	20 - 100mm	$120.00

(Compression) plates

SN065	TC 100 4.5mm T-Buttress plates	Sterile, 4 - 6 holes	80 - 112mm	$170.00

SN068	TC 100 1.5mm Condylar plates	Sterile, Left and right	One size only	$190.00

SN069	TC 100 3.5mm Reconstruction plates	Sterile, Straight 9 - 11 holes	106 - 130mm	$231.00

SN071	TC 100 4.5mm Narrow Compression plates	Sterile, 2 - 4 holes	39 - 71mm	$79.00

SN073	TC 100 2.0mm T-plates	Sterile, 2 hole shaft	One size only	$75.00

SN074	TC 100 Bone Plates with provisional fixation 	3.5mm Small Compression Plate	7 - 8 hole	$47.00

holes

SN075	TC 100 4.5mm Reconstruction plates	Sterile, 10 - 13 holes	157 - 205mm	$270.00

SN076	TC 100 3.5mm Curved Reconstruction plates	Sterile, 14 - 18 holes	166 - 214mm	$260.00

SN077	TC 100 3.5mm Curved Reconstruction plates	Sterile, 10 - 12 holes	118 - 142mm	$260.00

SN078	TC 100 4.5mm Broad Compression plates	Sterile, 20 - 26 holes	326 - 423mm	$320.00

SN080	TC 100 4.5mm T-plate	Sterile, 5 - 8 holes	100 - 148mm	$204.00

SN081	TC 100 2.0mm H-plates	Sterile	One size only	$108.00

SN082	TC 100 2.7mm Cortical Screws	Hex, Cruciate or Self-tapping	6 - 55mm	$16.00

SN083	TC 100 2.0mm T-plates	Sterile, 9 hole shaft	3 - 4 holes	$155.00

Prostheses List by Category and Sponsor	Page 324 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN087	TC 100 Semi Tubular plates	8 - 12 holes	135 - 199mm	$70.00

SN088	TC 100	Semi Tubular plates	2 - 7 holes	$56.00

SN089	TC 100 2.7mm Condylar plates	Sterile	Right/left	$190.00

SN090	TC 100 2.0mm L-plates	Sterile, Right/left, Oblique right/left	One size each	$75.00

SN091	TC 100 Bone Plates with provisional fixation 	Lateral Tibial Head Buttress 7 - 9 hole	149 - 181mm	$502.00

holes

SN092	TC 100 Bone Plates with provisional fixation 	4.5mm Narrow Compression	11 - 12 hole	$147.00

holes

SN093	TC 100 Bone Plates with provisional fixation 	4.5mm Narrow Compression	8 - 10 hole	$113.00

holes

SN094	TC 100 Bone Plates with provisional fixation 	4.5mm Narrow Compression	5 - 7 hole	$95.00

holes

SN095	TC 100	Semi-Tubular  Plate with provisional fixation 	4 - 7 holes	$58.00

holes

SN097	TC 100 Bone Plates with provisional fixation 	4.5mm Broad Compression	12 - 14 hole	$215.00

holes

SN098	TC 100 4.5mm Reconstruction plates	Sterile, 14 - 16 holes	221 - 253mm	$295.00

SN099	TC 100 Bone Plates with provisional fixation 	4.5mm Broad Compression	6 - 8 hole	$138.00

holes

SN101	TC 100 Bone Plates with provisional fixation 	L-Buttress, Left and right angled	One size each	$175.00

holes

SN102	TC 100 Bone Plates with provisional fixation 	T-Plate Oblique	50 - 73mm	$215.00

holes

SN103	TC 100 Bone Plates with provisional fixation 	T-Plate Right angled	50 - 67mm	$310.00

holes

SN104	TC 100	1/3 Tubular Plate with Collar	3 - 10 Hole	$46.00

SN106	TC 100 Bone Plates with provisional fixation 	3.5mm Small Compression Plate	9 - 10 hole	$330.00

holes

SN107	TC 100 4.5mm Condylar Buttress plates	Sterile,  right, 11 - 15 hole	221 - 285mm	$480.00

SN108	TC 100 Bone Plates with provisional fixation 	4.5mm Broad Compression	9 - 10 hole	$165.00

holes

SN109	TC 100 3.5mm Reconstruction plates	Sterile, Straight 4 - 8 holes	46 - 94mm	$170.00

SN112	TC 100 2.0mm Cortical Screws	Self Tapping, Hex or cruciate	6 - 38mm	$19.00

Prostheses List by Category and Sponsor	Page 325 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN116	TC 100 2.7mm T-plates	Sterile	One size only	$83.00

SN118	TC 100 3.5mm Small Fragment 	Sterile, 8 - 12 hole	97 - 145mm	$123.00

(Compression) plates

SN119	TC 100 4.5mm T-plate	Sterile, 3 - 4 holes	68 - 84mm	$147.00

SN121	TC 100 Bone Plates with provisional fixation 	3.5mm Small Compression Plate	5 - 6 hole	$777.00

holes

SN123	TC 100 3.5mm Cortical screw	Sterile - Hex or Cruciate, Self tapping	10 - 40mm	$15.00

SN125	TC 100 Bone Plates with provisional fixation 	T-Plate 4 - 8 holes	84 - 148mm	$216.00

holes

SN126	TC 100 4.5mm Condylar Buttress plates	Sterile, Left and right,  7 - 9 hole	158 - 190mm	$451.00

SN129	TC 100 1.5mm Mini Plates	Stainless steel, Sterile	H-Plates 4 holes	$100.00

SN130	TC 100 3.5mm One Third Tubular plates	Sterile, 9 - 12 holes	109 - 145mm	$58.00

SN131	TC 100 4.5mm Narrow Compression plates	Sterile, 14 - 24 holes	231 - 390mm	$225.00

SN132	TC 100 4.5mm Narrow Compression plates	Sterile, 11 - 13 holes	183 - 215mm	$180.00

SN133	TC 100 4.5mm Narrow Compression plates	Sterile, 8 - 10 holes	135 - 167mm	$102.00

SN134	TC 100 3.5mm Reconstruction plates	Sterile, Straight 16 - 22 holes	190 - 263mm	$380.00

SN135	TC 100 95 Degree Condylar Plates	Small stature	Shaft length 92 - 299 mm, blade 	$360.00

length 50 - 80mm

SN136	TC 100 Small T-Plates	Sterile, right angled and oblique	3 - 4 holes in head, 3 - 6 holes in 	$102.00

shaft

SN137	TC 100 4.5mm Broad Compression plates	Sterile, 6 - 8 holes	103 - 135mm	$138.00

SN138	Neer 3 Total Shoulder System	Humeral stems	Head size 15 - 16, stem diam 8 - 	$2,740.00

12mm

SN139	Osteotomy Plates	Blade, 90 deg Infant Osteotomy	25 - 32mm	$87.00

SN140	Low Profile Classic Compression Hip Screw 	130 - 150 deg Hot forged stainless steel	3 - 4 holes	$350.00

System

SN141	T-Bar Suture Retention System	Fastfix	One size only	$335.00	$425.00

SN142	TC 100 4.5mm Broad Compression plates	Sterile, 9 - 12 holes	151 - 199mm	$165.00

SN143	TC 100 4.5mm Reconstruction plates	3 - 9 holes	45 - 141mm	$183.00

SN144	TC 100 2.7mm L-plates	Sterile, Right/left, Oblique right/left	3 holes	$75.00

SN145	TC 100 3.5mm Reconstruction plates	Sterile, Straight 12 - 15 holes	142 - 178mm	$270.00

Prostheses List by Category and Sponsor	Page 326 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN146	Taylor Spatial Frame	Pre-assembled circular external fixator, carbon-	One size only	$9,925.00

fibre rings, telescopic rods

SN256	Axis 	Ceramic Femoral Head AlO3 12/14Taper	=< 32mm	$1,625.00

SN257	Axis 	Ceramic Insert AlO3	28, 32mm ID; 44 - 60mm OD	$2,140.00

SN259	Axis 	Femoral HA Stem Titanium Alloy	120 - 200mm	$4,056.00

SN260	Axis 	HA Cup Titanium Alloy	Axis Shell 44 - 60mm  Axis II 	$2,652.00

Shell  44 - 64mm

SN262	Bio-fit 	Femoral Stem Collared	Collared size 1-6	$3,120.00

SN263	Buck	Cement Restrictor 	18.5 - 35mm	$120.00

SN264	Buck	IM Prep Kit	One size only	$225.00

SN265	Contour	Acetabular Roof Reinforcement Shell	44 - 74mm OD	$1,426.00

SN266	Convene	Bi-polar Liner	=< 32mm	$316.00

SN267	Tandem/Convene	Shell/Liner	22 - 64mm	$1,248.00

SN268	CPCS	Femoral Stem Polished Non Porous, Std and 	1 - 5	$1,750.00

High Offset

SN269	CPCS	Polished Cemented Stem Distal Centraliser	8 - 18	$120.00

SN270	Echelon	Femoral Stem Porous Co Cr, Std and High 	9 - 19	$3,368.00

Offset

SN271	Echelon	Revision hip stem - Bowed, porous: Calcar 	Left/Right, 15 and 30mm,  Sizes 	$5,426.00

Replacement Collar	11-22

SN272	Echelon	Revision Hip Stem - Porous, Standard Collar	Sizes 11 - 22	$4,888.00

SN273	Echelon/Spectron	Revision Hip Stem - Non-porous	135mm - 235mm	$3,664.00

SN274	Echelon	Revision hip stem - Non Porous: Standard 	12-16  175-225mm	$3,550.00

Collar

SN275	Echelon	Revision hip stem - Straight, porous: Calcar 	15, 30mm, Sizes 11-22	$5,426.00

Replacement Collar

SN277	Endoprosthesis	CoCr	38 - 54mm	$615.00

SN278	Femoral Head	Ceramic AlO3	14/16 taper, =<32mm, Std - Xlong	$1,990.00

SN280	Femoral Head	Co Cr, 14/16 taper	=<32mm, Short -XXXLong Neck	$745.00

SN281	Femoral Head	Co Cr, 12/14Taper	=<32mm	$745.00

SN282	Opera	Acetabular Cup Flanged UHMWPE	22 - 28mm; 40 - 53mm	$595.00

Prostheses List by Category and Sponsor	Page 327 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN283	Optifix	Acetabular: Liner, 20 degree	43 - 76mm	$805.00

SN284	Screws	Cancellous	15mm - 50mm	$185.00

SN285	Reflection	Acetabular Cup, Porous Titanium Alloy	42 - 80mm	$2,435.00

SN286	Reflection	Acetabular Cup HA Coated Titanium Alloy	42 - 80mm	$2,900.00

SN287	Reflection	Acetabular Cup Titanium Alloy	42 - 76mm	$2,435.00

SN288	Reflection	Acetabular Cup	22 - 36mm, 42 - 76mm	$572.00

SN289	Reflection	Acetabular Liner	22 - 36mm, 42 - 76mm	$832.00

SN290	Reflection	Acetabular Shell Ceramic, Porous Titanium 	46-66mm OD	$2,435.00

Alloy

SN291	Reflection	Acetabular Liner XLPE	22 - 36mm, 42 - 76mm	$1,115.00

SN292	Reflection	Fixation peg Titanium Alloy	One size only	$181.00

SN293	Reflection	Lateralised Liner, UHMWPE	22 - 36mm,  42 - 76mm	$832.00

SN294	Reflection	Tapered hole cover (Reflection Interfit)	One size only	$110.00

SN295	Reflection	Threaded hole cover (Reflection)	One size only	$165.00

SN297	Reflection 	Acetabular Liner Ceramic, AlO3	28 - 36mm, 46 - 66mm OD	$2,325.00

SN299	Reflection 	Head Ceramic, AlO3	=<32mm	$2,000.00

SN301	Spectron/Synergy	Femoral Stem Non Porous Offset	1- 20	$1,850.00

SN303	Synergy	Femoral Stem HA Coated Porous Titanium 	9 - 18	$5,338.00

Alloy, Std and High offset

SN305	Synergy/Anthem	Femoral stem Porous Titanium Alloy, Std and	9-20	$4,435.00

High Offset

SN306	Synergy	Femoral stem: HA coated Titanium Alloy, Std	9-20	$4,212.00

and High Offset

SN307	Unipolar	Taper Sleeve Co Cr	12/14 and 14/16 tapers, +0,-	$260.00	Taper insert for SN308

3,+4,+8,+12mm.

SN308	Unipolar Head	Co Cr	12/14 42 - 61mm	$728.00	Used with SN307

SN309	Genesis II	Tibial Base Non Porous Titanium	1 - 8	$2,132.00

SN310	Genesis II	Inserts Deep dished	1-8. 9 - 21mm	$1,144.00

SN311	Genesis II/Profix	Porous Tibial Base Plate	Left/Right, Size 1-8	$2,298.00

SN312	Genesis II/Profix	HA coated, Porous Tibial Baseplate	Left & Right, Size 1-8	$2,600.00

SN313	Genesis II/Profix	Constrained Insert	Left/Right, Size 1-8, 10-30mm	$1,118.00

Prostheses List by Category and Sponsor	Page 328 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN314	Genesis II 	Conversion module	Left/Right size 1-8	$1,167.00

SN315	Genesis II/Profix	Non Porous Constrained Femoral Component	Left & Right, Size 1-8	$3,068.00

SN316	Genesis II 	Femoral/tibial long stems	10-24x100mm, 10-20 x 150mm 10-	$1,220.00

16x 200mm

SN317	Genesis II 	Inserts Articulating 	1-8  9mm-18mm	$945.00

SN318	Genesis II 	Lug	One size only	$204.00

SN319	Genesis II 	Metaphyseal Stem	1-8	$644.00

SN320	Genesis II 	Mobile Bearing Standard Insert	Left & Right, Size 1-8, 9-15mm 	$975.00

SN321	Genesis II 	Non Porous femoral	Left/Right Size 1-8	$3,400.00

SN322	Genesis II/Profix	All Poly Tibial Base	Left/Right, Size 1-8	$1,248.00

SN323	Genesis II/Profix	Cemented All Poly Patella	23-35mm 	$614.00

SN326	Genesis II 	Porous femoral	Left/Right Size 1-8	$3,744.00

SN327	Genesis II/Profix	PS Non Porous Femoral Component	Left/Right, Size 1-8	$3,432.00

SN328	Genesis II/Profix	PS Porous Femoral  Component	Left/Right, Size 1-8	$4,264.00

SN329	Genesis II 	Tibial screws 	15-50mm	$135.00

SN330	Genesis II 	Wedge Full Tibial, Distal Femoral, Stacked 	1-8	$738.00	$1,180.00

Femoral L, Posterior Femoral, Angled Hemi,

Stepped Hemi, Medial Lateral

SN331	Genesis II Inserts	Inserts PS	1-8. 9-25mm	$1,073.00	$1,163.00

SN332	Genesis II/Profix	Femoral Component HA Coated Co Cr	1-8	$4,160.00

SN333	Genesis II/Profix	C/R Femoral Component, Oxinium	1-9	$4,992.00

SN334	Genesis Uni	Articular Insert UHMWPE 	x-Small-Magnum 8mm-12mm	$732.00	$833.00

SN335	Genesis Uni	Tibial Base HA coated	Left & Right, X Small- Magnum 	$1,360.00

Plus

SN336	Genesis Uni	Tibial base Titanium Alloy	XSmall-Magnum	$1,530.00

SN337	Genesis Uni	Tibial Base UHMWPE  	Left & Right, X Small- Magnum 	$1,248.00

Plus,  8mm-15mm

SN338	Genesis Uni	Femoral Component CoCr	X-Small - Magnum Plus	$2,041.00

SN339	Genesis	Compression Screws	16-22mm	$90.00

SN340	Genesis	Constrained Articular	Left/Right Small- XLarge 10mm - 	$832.00

25mm

Prostheses List by Category and Sponsor	Page 329 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN341	Genesis	Constrained Conversion Module: CoCr	Left/Right Small-Magnum Plus	$2,345.00

SN342	Genesis	Custom Flex Lock Peg	Left & right	$150.00

SN343	Genesis	Custom Peg	10x65mm - 20x325mm	$250.00

SN344	Genesis	Femoral Component: Cruciate Retaining: Non 	Left/Right Small - Magnum	$2,779.00

Porous: CoCr

SN345	Genesis	Femoral: Cruciate Retaining: Porous: CoCr	Left/Right Small - Magnum	$2,652.00

SN346	Genesis	Flex-Lok Peg	Fem & Tibial	$90.00

SN347	Genesis	I/M Peg: Femoral and Tibial: Titanium	10-16mm Diameter x  40-200mm 	$250.00

Length

SN348	Genesis	Insert: Articular: Cruciate Retaining: UHMWPE	Left & Right XS-Magnum 8MM-	$684.00

15MM

SN349	Genesis	Insert: PS Articular: UHMWPE	Right/Left S-XL 8mm-25mm	$816.00

SN350	Genesis	Cemented All Poly Patella	X-Small - Large	$426.00

SN351	Genesis	PS Conversion Module Resurfacing: Co Cr	Left/Right Small - Magnum	$771.00

SN353	Genesis	Revision Articular Insert	Left/Right Constrained Small - 	$2,031.00

Xlarge, Crutiate retaining Size 1-8,

Post Stabilising Size 1-8,

Tricon/Genisis Small-Xlarge

SN354	Genesis	Tibial Base: Non Porous 	Left/Right Small- Magnum 8mm-	$1,700.00

15mm

SN356	Genesis	Tibial Base: Porous	Left/Right Small - Magnum	$2,199.00

SN357	Genesis	Tibial Compression Screw	16-22mm	$149.00

SN358	Genesis	Wedge	Small-Magnum 4mm-15mm	$454.00

SN359	Invis	Distal Centraliser PMMA	7 - 21mm	$171.00

SN360	ITH	Femoral Stem Non Porous Titanium Alloy	STCOL L120mm- 200mm  Stnd 	$955.00

L120mm-200mm

SN361	ITH	Trunnion Sleeve	One size only	$165.00

SN362	Matrix: Modular Hip System	Femoral Stem Polished CoCr	6L-14L	$1,550.00

SN363	Matrix: Modular Hip System	Practica Non Porous Stem CoCr	Collarless  Stem 8,10,12. Collared 	$1,440.00

Stem  8,10,12,14.

Collarless/Collared Femur

Prostheses List by Category and Sponsor	Page 330 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN364	Matrix: Modular Hip System	Revision Distal Sleeve, Porous and Non-Porous	Straight Sizes 8-16, 10 -  21mm, x 	$1,051.00

+10mm, 60mm ;  Bowed  Sizes 8 -

16,  x +85mm, +135mm.

SN365	Matrix: Modular Hip System	Sleeve -Trunnion	One size only	$165.00

SN366	Matrix: Modular Hip System	Stem: Opti-fix plus Titanium Alloy	8S - 16L	$3,368.00

SN367	Mobile Bearing Knee	Locking Screw Co Cr	One size only	$203.00

SN368	Mobile Bearing Knee	Tibial Base HA Coated Porous Titanium	Left & Right Size 1-8	$3,345.00

SN369	Mobile Bearing Knee	Tibial Base Non Porous Titanium	Left & Right, Size 1-8	$2,153.00

SN370	Mobile Bearing Knee	Tibial Base Porous Titanium	Left & Right, Size 1-8	$2,602.00

SN371	MOD III 	Femoral Component	Small & Large	$1,685.00

SN372	Genesis II/Profix	Cruciate Retaining Insert	Left/Right, Size 1-8	$1,144.00

SN375	Profix	Femoral Porous 	Left/Right Size 1-8	$3,500.00

SN376	Profix	I/M Peg Femoral or Tibial	10-20mm x 100mm. 10-20x150mm	$1,254.00

10-20 x 200mm

SN377	Profix	Metaphyseal Tibial Stem	14-20mm	$644.00

SN378	Profix	Mobile Bearing Stabilised Insert	Size 1-8 10-16mm	$1,144.00

SN379	Profix	Mobile Bearing Standard Insert	Size 1-8 10-16mm	$936.00

SN381	Profix	Non Porous Wedge, Distal and L-Wedge	1-7. Small - Large 	$646.00

SN382	Profix	Patella, Inset and Onset	23-35mm	$520.00	$614.00

SN383	Profix	Porous Femoral with Taper	Right/Left Size 1-7	$4,218.00

SN384	Profix	Porous wedge	1-7	$909.00

SN389	Profix	Tibial Insert	Left/Right Size 1-6 10-20mm	$945.00

SN390	Profix	Tibial Non Porous	Right/Left Size 1-7	$2,132.00

SN392	Profix	Tibial PS Insert	Left/Right Size 1-6 10 - 35mm	$1,073.00	$1,163.00

SN393	Profix	Tibial Screw	15-50mm	$80.00

SN394	Patella Femoral	Resurfacing System	Mini-Large	$701.00

SN395	Cofield	Humeral stem component	Standard & Long, small- large	$2,740.00

SN396	Cofield	Screw	Long, Short, Standard	$193.00

SN397	Cofield 	Glenoid All Polyethylene component	Small, Standard	$1,650.00

Prostheses List by Category and Sponsor	Page 331 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN398	Cofield 	Glenoid Component Metal backed	Standard Base. Base Insert.  Glenoid	$2,220.00

Comp Sm, Stan, St W/off

SN399	Cofield 	Glenoid Insert	Small, Standard	$400.00

SN400	Modular Cofield	+ 2 insert	Small, Standard, Standard with offset	$1,620.00

SN401	Modular Cofield	All Poly + 2 insert	Small, Standard, Standard with offset	$1,620.00

SN403	Modular Cofield	Humeral Head	14x36mm - 36x58mm	$1,500.00

SN404	Modular Cofield	Humeral Stem	6mmx115mm - 16mmx245mm	$3,070.00

SN407	Modular Cofield	Posterior Lipped All poly Glenoid	Small - Large	$1,650.00

SN409	Modular Cofield	Standard Articular Insert	Small, Standard	$470.00

SN410	Neer	Neer II Humeral	22 x 6.3-9.5mm, 33 x 12.7mm, 15 	$1,235.00

x 6.3-12.7mm

SN411	Neer	Neer II Glenoid	Standard Glenoid  Resurf Glenoid 	$950.00

XS Metal Back Glenoid XS

SN413	Shoulder Reconstruction	3.7mm TAG & Wedge Suture Wedge	3.7mm	$135.00

SN414	Shoulder Reconstruction	Suretac Absorbable Staple	6-8 x 16mm	$273.00

SN415	Shoulder Reconstruction	TAG Bioabsorbable Anchor Wedge	3.7mm	$129.00

SN416	Shoulder Reconstruction 	Fastentor Suture Anchor	One size only	$290.00

SN417	T-Bar Suture Retention System	T-Fix RCG 	1.8mm	$235.00

SN418	T-Bar Suture Retention System	T-Fix Single & Double	T-Fix Suture Bar, Straight Needle, 	$188.00

Double Suture

SN419	ACL/PCL Reconstruction	Aims Screws, Titanium	7-9mm diameter, 20 -25mm length	$165.00

SN420	ACL/PCL Reconstruction	RCI Screws Titanium	7-11mm diameter, 25-40mm length	$178.00

SN421	ACL/PCL Reconstructions	Absorbable PLLA Screw	7-12mm diameter, 25-35mm length	$228.00

SN422	ACL/PCL Reconstructions	Acufex Fixation Post	25 -55mm	$241.00

SN423	ACL/PCL Reconstructions	Acufex Tibial Fixation Anchor	One size only	$185.00

SN424	ACL/PCL Reconstructions	Acufex Spiked Washer	One size only	$162.00

SN425	ACL/PCL Reconstructions	Cannuflex Silk & Soft Silk Interference Screw	5.5 x 20mm - 9x30mm	$185.00

SN426	ACL/PCL Reconstructions	EndoButton	4 x 12mm, 4mm x 18mm	$248.00

SN427	ACL/PCL Reconstructions	Fixation Button	12-17mm	$35.00

Prostheses List by Category and Sponsor	Page 332 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN428	ACL/PCL Reconstructions	EndoButton CL	20-50mm	$369.00

SN429	ACL/PCL Reconstructions	EndoButton Tape	One size only	$159.00

SN430	ACL/PCL Reconstructions	EndoFix Bioabsorbable Screw	7 x 20mm - 9mm x30mm	$185.00

SN432	ACL/PCL Reconstructions	Tibial Post Screw	Small, Standard	$158.00

SN433	Half Pin	Hex Fix, Stainless Steal	4-6mm x 20-80mm	$100.00

SN434	Half Pin	Arrow	4-6mm x 20-80mm	$205.00

SN435	Half Pins	Hex Fix Titanium	4-6mm x 20-80mm	$115.00

SN436	Half Pins	Ilizarov Stainless Steel	4 x 120 -180mm 30mm 35mm - 	$247.00

thread   50mm conic

SN437	Hex Fix Pins	Cancellous Crane Pin Threaded	5/8" - 1 1/4"	$133.00

SN438	Hip Pin	Cannulated	30-135mm	$203.00

SN439	Ilizarov	Jurgan Pin Balls	0.7-5.0mm	$82.00

SN440	Ilizarov	Wires	300-370 length x 1-1.8mm diameter	$69.00

SN441	Ilizarov	Wires with stopper	300-370 length x 1-1.8mm diameter	$155.00

SN442	Mini TAG	Suture Anchor 2.0mm	2.0mm	$149.00

SN443	Reis	Cable and Swage	1.6 & 2.0mm	$330.00

SN444	Reis	Swage	1.6 & 2.0mm	$170.00

SN445	Steinmann Pins	Skeletal Traction Pin-Cove Point	150-200mm	$73.00

SN446	Steinmann Pins	Skeletal Traction Pin-Cove Point	250mm+	$121.00

SN447	Steinmann Pins	Non Threaded, Various Tips	9"x5/64 - 9"x3/16	$25.00

SN449	Washer	For Cannulated screw systems, Stainless Steel 	One size only	$32.00

SN450	Washer	For Cannulated screw systems, Titanium	One size only	$49.00

SN451	Wire	Kirschner	Various 1.3 - 304.8mm	$11.00	To be funded where any or all K-

wires used in a procedure are used as

an implant.

SN459	Wire	Suture	18Ga - 28Ga	$80.00	To be funded where any or all K-

wires used in a procedure are used as

an implant.

SN460	Wire	Cerclage	0.6mmx175mm - 0.8mmx200mm	$14.00	To be funded where any or all K-

wires used in a procedure are used as

an implant.

Prostheses List by Category and Sponsor	Page 333 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN461	Bone Staple	Fixation	Staple 1.16x 1.2- 3.8 x1.2-3.4.  	$22.00

Staple 3.32 x 5.8-7.8 x 3.4.  Staple

with Spikes XSM- Large.  Staple

W/O Spikes XSM- Large.  Trac Pin

9"

SN462	Bone Staple	Fixation - Scaphoid Staples	Scaphoid Staple S,M, M- Long & 	$125.00

Large

SN463	Bone Staple	Fixation - Osteotomy	Fixation Staple 5mm- 14mm.  	$163.00

McConnel HTO PF 15mm 0-S

SN464	Bone Staple	Fixation - Short Leg	Xsmall - large	$125.00

SN465	Bone Staple	Fixation - Table	Small -Medium  13mm - 16mm. 	$205.00

SN466	Bone Staple	Krackow HTO	12,14,16mm	$249.00

SN467	Compressing Screw	For Intermedullary and compression Hip Screw	19mm & 28.5mm	$32.00

Systems

SN468	Compression Hip Screw System	Ambi Standard Barrel Plates	60mm -80mm, 2-3 slot	$305.00

SN469	Compression Hip Screw System	Ambi Standard Barrel Plates	100mm -220mm, 4-10 slot	$500.00

SN470	Compression Hip Screw System	Ambi Standard Barrel Plates	260mm+, 12-14 slot	$660.00

SN471	Compression Hip Screw System	Ambi Short Barrel Plates	100mm, 4-5 slot	$440.00

SN472	Compression Hip Screw System	Ambi Short Barrel Plates	120mm, 4-5 slot	$427.00

SN473	Compression Hip Screw System	Classic Standard Barrel Plates	60-140mm, 2-3 slot	$338.00

SN474	Compression Hip Screw System	Classic Standard Barrel Plates	180-220mm, 4-10 slot	$427.00

SN475	Compression Hip Screw System	Classic Standard Barrel Plates	260mm+, 12-14 slot	$660.00

SN476	Compression Hip Screw System	Classic Short Barrel Plates	100 - 120mm	$465.00

SN478	Compression Hip Screw System	Classic Supracondylar Plate	90-95 6-12SL	$740.00

SN479	Compression Hip Screw System	Hip Screw Clip (ambi only)	One size only	$81.00

SN480	Compression Hip Screw System	Intermedullary Hip Screw (IMHS), Centering 	One size only	$115.00

Sleeve, Stainless Steel

SN481	Compression Hip Screw System	Standard Lag Screw	55 - 140mm	$196.00

SN483	Compression Hip Screw System	Super Lag Screw	55mm-140mm	$196.00

SN488	Intermediate Osteotomy System	Compressing	One size only	$114.00

SN489	Intermediate Osteotomy System	Lag	35 mm - 85mm, 1 1/2" - 3-3/4"	$472.00

SN490	Intermediate Osteotomy System	Plate (hip screw)	90-150Deg	$789.00

Prostheses List by Category and Sponsor	Page 334 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN491	Paediatric Osteotomy System	Compressing Screw	One size only	$87.00

SN492	Paediatric Osteotomy System	Lag Screw	22mm- 40mm	$421.00

SN493	Paediatric Osteotomy System	Plate (hip screw)	With Prox slot 90D - 140D	$937.00

SN494	Ender Nails	-	3.5mmx22cm - 4.5mmx48cm	$120.00

SN495	Intermedullary Nailing System	Foresight Locking Screw	2.7mm Diameter 8-18mm Length	$70.00

SN496	Intermedullary Nailing System	Foresight Nail	4-5mm Diameter 20-26cm Length	$660.00

SN497	Intermedullary Nailing System	Knee Fussion Nail, Stainless Steel	11x 65-75 & 12 x 65-85cm	$4,400.00

SN498	Intermedullary Nailing System	Nail Cap	One size only	$79.00

SN499	Intermedullary Nailing System	Revision, Ankle Fusion Nail	11mmx15cm -13x21cm	$1,075.00

SN500	Russel Taylor	Delta II Femoral Nail	8mmx24cm - 10mmx38mm	$1,476.00

SN501	Russel Taylor	Delta II Reconstruction Nail	Left/Right 8mmx24cm - 	$1,500.00

9mmx38cm

SN502	Russel Taylor	Delta Reconstruction & Femoral Plus Nails, 	Left/Right 10-11 32-48mm.	$971.00

Stainless Steel

SN503	Russel Taylor	Delta Tibial & Tibial Pro Nails, Stainless 	8 x 27-42mm  9 x 27-36mm. 10 x 	$549.00

Steel	32-48mm  11 x 32-48mm.

SN504	Russel Taylor	Femoral Locking screw	F/fem nl 30-90mm. F/r-t nl 25-	$80.00

90mm.

SN505	Russel Taylor	Femoral/Tibial Interlocking Nails	11mmx28.5cm - 16mmx50cm	$438.00

SN506	Russel Taylor	Humeral Locking Screw	4.0mm Diameter 12-60mm	$95.00

SN507	Russel Taylor	Humeral Nails	7-9 x 18-30cm	$1,140.00

SN508	Russel Taylor	Intermedullary Hip Screw (IMHS) Set screw	One size only	$60.00

SN509	Russel Taylor	Intermedullary Hip Screw Nail (IMHS) 	Standard 10-16mm 21 cm length, 	$650.00

Stainless Steel	Long 10-12mm Diameter Right&

Left 34-42cm Length

SN510	Russel Taylor	Intermedullary Supracondylar Nail, Stainless 	11mmx15cm -13mmx25cm.	$999.00

Steel

SN511	Russel Taylor	Locking Screw	4.5mm Diameter 20-65mm	$95.00

SN512	Russel Taylor	Locking Step Screw	5.0/6.4mm 25mm-110mm	$95.00

SN513	Russel Taylor	Proximal Locking Screw (Recon)	6.4 x 85 to 8 x 110mm.	$95.00

SN514	Russel Taylor	Proximal Set Screw (Recon)	Short & Long	$148.00

Prostheses List by Category and Sponsor	Page 335 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN515	Russel Taylor	Reconstruction Nails, Stainless Steel	12mmx32cm -15mmx50cm.	$700.00

SN516	Russel Taylor	Stable-Lok Nut	One size only	$172.00

SN517	Russel Taylor	Washer	One size only	$20.00

SN518	Russell Taylor 	Femoral Interlocking Retrograde Nail	11mmx30cm - 13mmx48cm	$1,051.00

SN519	TriGen	Capture Reconstruction Screws Titanium	6.4mm diameter 65-125mm length	$219.00

SN520	TriGen	Captured Screws Titanium	4.5 & 5.0mm diameters, 20-110mm	$120.00

lengths

SN521	TriGen 	Femoral Antegrade Nail (FAN)	10 x 26cm - 13 x 50cm	$750.00

SN522	TriGen 	Knee Nail	8.8, 10, 11.5 & 13mm diameters, 	$1,050.00

26-50cm lengths

SN532	TC 100 Plate	2.0mm Straight Plate	3-20 hole	$81.00

SN540	TC 100 1.5mm Screw	Hex, Cruciate or Self-tapping	6-24mm	$13.00

SN542	TC 100 Plate	Multifragment Plates	One size only	$113.00

SN543	TC 100 Plate	Pelvic Fragment Plates	3-18 hole, 45-190mm	$160.00

SN557	TC 100 Plate	4.5mm Broad Compression Plate	14-18 hole	$270.00

SN569	TC 100 Plate	Calcaneal Plate Sterile	60mm,70mm & 9 hole	$420.00

SN570	TC 100 Plate	Cloverleaf Plate	3-4 hole	$180.00

SN571	TC 100 Plate	Cloverleaf Plate	5-6 hole	$380.00

SN572	TC 100 Plate	Cloverleaf Plate	7-8 hole	$397.00

SN573	TC 100 Plate	Cloverleaf Plate	9 hole	$442.00

SN574	TC 100 Plate	Cobra Head Plate	8-11 hole	$433.00

SN577	TC 100 Plate	Hook Plate	123mm 4 hole	$330.00

SN578	TC 100 Plate	Large L-Buttress Plate	Left & right Angled	$160.00

SN581	TC 100 Plate	Lateral Tib Head Buttress Plate	3-7 hole Left & Right	$450.00

SN582	TC 100 Plate	Lateral Tib Head Buttress Plate	9-13 hole Left & Right	$518.00

SN592	TC 100 Plate	Spoon Plate	5 hole & 6 hole	$160.00

SN593	TC 100 Screw	6.5mm Cancellous Screw	25 - 150mm length	$35.00

SN595	TC 100 Screw	6.5mm Cancellous Screw Fully Threaded	6.5mm Diameter, 115mm-150mm	$129.00

SN602	TC 100 Screw	6.5mm Cancellous Screw Partially Threaded	6.5mm Diameter, 32mm thread, 	$60.00

130mm+ Length

Prostheses List by Category and Sponsor	Page 336 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN606	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	10 - 20mm	$14.00

SN607	TC 100	4mm Cancellous Screw	22 - 50mm	$16.00

SN609	TC 100 4mm Cancellous Screw	Fully or Partially Threaded	 55mm +	$21.00

SN612	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	85mm +	$70.00

SN621	TC 100 3.5mm Cortex Screw	Hex, Cruciate or Self-tapping	10 - 40mm	$22.00

SN625	TC 100 Screw	Malleolar Bone Screw, Sterile	25x12mm - 70x32mm	$30.00

SN626	TC 100 Washers	Stainless Steel	7-13mm	$14.00

SN627	TC 100 Washers	Titanium Non Sterile	4.5mm -13mm	$23.00

SN628	TC 100 Washers	Titanium Sterile	4.5mm -13mm	$47.00

SN629	Bone Screw	Full & Partial Thread , Self tapping, Stainless 	3.5mm Diameter, 1/2-4" length	$38.00

Steel

SN630	Cannulated Hip Pins	Knowles	1.8 x 2 - 5.32 x 5 1/2.  	$125.00

SN631	Cannulated Hip Pins	Rush Nails, Round Bevil Point Hook Pins	20.3mm - 254mm	$110.00

SN635	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 16&20mm 	$201.00

Thread, 20-135mm

SN636	Cannulated Screw	Partial Thread, Stainless Steel	6.5mm Diameter, 32mm thread, 45-	$228.00

130mm

SN637	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	5.5mm Diameter, 20-120mm	$143.00

SN638	Cannulated Screw	Partial and Fully Threaded, Stainless Steel	7.0mm Diameter, 30-150mm	$150.00

SN639	Cannulated Screw	6.5mm  & 7.0mm screw Titanium	30 - 150mm Length	$163.00

SN641	Cannulated Screw	5.5mm screw Titanium	5.5mm Diameter 8x20mm- 	$150.00

32x120mm

SN642	Cannulated Screw	4.0mm Screw Titanium	4.0mm Diameter 20-70mm length	$140.00

SN643	Cannulated Screw	8mm Cannulated screws	8mm Diameter 65-125mm	$207.00

SN644	Cannulated Screw	6.4mm Cannulated screws	6.4mm diameter 65-125mm length	$221.00

SN651	OBL Anchor System	Preloaded Soft Tissue Anchor System 	Anchor sizes - Titanium: 2.8, 3.5, 	$255.00

Material: Titanium Alloy or Polyacetal 	4.0 5.0, 6.5mm Anchor size -

Polymer. Comes with Insertion device and 2 	Polymer: 5.0mm

Braided Polyester Sutures

SN652	OBL Anchor System 	Soft Tissue Anchor System Non-preloaded 	4.0 and 6.5mm	$218.00

Material:  Titanium Alloy

SN659	HTO Plates	Titanium	6 - 20mm	$1,010.00

Prostheses List by Category and Sponsor	Page 337 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN660	Profix Constrained Femur	Cobalt Chromium	Left & Right, 2-7	$3,183.00

SN661	Compass PIP	Kit assembly includes 0.45 x 5" K Wires, 1 	Single sterile PIP Hinge Kit	$955.00

Small Pin Support Block, 1 Hexdriver, 1

Compass PIP (Packed Sterile)

SN663	35deg Reflection Liner	UHMWPE	50 - 60mm	$1,144.00

SN664	Versabond Bone Cement	Methy Methacrylate Methyl Acrylate 	60g	$240.00

Copolymer, Methylmethacrylate

Homopolymer, Supplied as pack of powder

(copolymer) and 28.2ml liquid (monomer) in

an ampule

SN665	TriGen TAN	Titanium 6A1-4V	10, 11.5 & 13mm Diameter, 30 - 	$750.00

50cm Length

SN666	TriGen Nail Cap	Titanium	0 - 20mm body length	$45.00

SN667	Versabond Bone Cement	Methyl Methacrylate Methyl Acrylate 	40g	$137.00

Copolymer, Methylmethacrylate

Homopolymer, Supplied as Powder

(copolymer) and liquid (monomer) in an ampule

SN668	Standard Stems Humeral Components	Modular Shoulder System, Chromium Cobalt	6 - 16mm Diameter, 125 - 175mm 	$935.00

Length

SN669	Standard Humeral Components	Modular Shoulder System Humeral Head, 	11.25 - 25mm Height, 40 - 49.5mm	$1,080.00

Chromium Cobalt	 Diameter

SN670	Femoral Osteotomy Plate	Titanium Wedge	6 - 20mm thick x 20mm wide	$655.00

SN671	Femoral Osteotomy Plate	Titanium Femoral Plate	6-8 hole, 6 - 18mm wide	$370.00

SN672	JAX Advanced Bone Void Filler	Two components, granules composed of 	10cc	$801.00

calcium sulphate, stearic acid & magnesium

sulphate & an aqueous gel of

carboxymethylcellulose, sterile water &

glycerol

SN674	JAX Advanced Bone Void Filler	Two components, granules composed of 	4cc	$622.00

calcium sulphate, stearic acid & magnesium

sulphate & an aqueous gel of

carboxymethylcellulose, sterile water &

glycerol

SN675	HTO Screws	Titanium	4.5mm Diameter, 20 - 80mm 	$223.00

Length

Prostheses List by Category and Sponsor	Page 338 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN676	Genoid Components	Anatomic Glenoid Component, Ti-6A1-4V, 	Extra Small & Standard	$2,220.00

UHMWPE

SN678	Echelon with HA	Cobalt Chromium with Hyrdoxyapetite Coating	11-20	$5,250.00

SN685	Opening Wedge Tibial Ostectomy Plate	Titanium	6 - 20mm	$360.00

SN687	Femoral Head	12/14, 14/16 Taper, Oxinium	22 - 32mm, -3 - +16mm	$2,340.00

SN688	Reflection	HA Coated acetabular ceramic cup	Sizes 45 - 66	$2,900.00

SN689	Reflection	Constrained Acetabular Liner - UHMWPE	22 - 32mm, 42 - 76mm	$1,636.00	$2,144.00

SN692	Spectrum EF	Tantalum marked high offset and standard stems	Size 40 - 74mm	$2,228.00

SN693	Hip Component	Femoral or acetabular	Size 0 - 20	$6,396.00

SN694	Knee Component	Femoral, tiabial or insert	Size 0 - 10	$6,396.00

SN695	Opera	Acetabular Cup Flanged - XLPE	22-36mm, 42-76mm	$845.00

SN696	Reflection	Acetabular Cup - XLPE	22-36mm,40-61mm	$845.00

SN697	Femoral Head	Stainless steel	22-32mm,+0-+16mm	$811.00

SN699	Profix	Mobile bearing stabilised insert	1-8, 18-20mm	$1,144.00

SN700	RCI Screw with Perforations	Tinanium interference screw	Dia 7 - 10mm, length 25 - 35mm	$200.00

SN701	Reflection	Constrained acetabular liner - adaptor ring	42 - 76mm	$200.00

SN703	Absorbable Suture Anchor	Preloaded PLLA Suture Anchor	2.9mm & 5.0mm	$460.00

SN704	Genesis II / Profix	Posterior Stabilised Oxinium Femoral 	Size 1 - 8	$5,189.00

Components

SN707	Optifix	Acetabular Liners, XLPE	43-76mm	$945.00

SN708	Jet X Bar	External Fixation Bar with Cap	100mm to 600mm	$4,750.00

SN709	Jet X Central	Modular Versitile Ankle Fixation Frame	99mm to 158mm	$4,500.00

SN710	Genesis Uni	Femoral Component, Oxinium	X-Small - Magnum	$3,120.00

SN712	Bio Buck Cement Restrictor	Bioabsorbable	13mm - 35mm	$120.00

SN713	Trigen	Stable-Lok Nut	One Size Only	$346.00

SN714	TwinFix	Quick-T	2.8 - 6.5mm	$460.00

SN715	Genesis II	Long Stem Tibial Components	18 - 24mm x 200mm	$1,976.00

SN717	Genesis II/Profix	Offset Couplers	2 - 4mm	$2,095.00

Prostheses List by Category and Sponsor	Page 339 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN723	Genesis II	Revision Tibial Wedge Screw	10-100mm	$2,700.00

SN727	Genesis II	High Flex PS Insert, UHMWPE	1-8, 9-25mm thickness	$1,073.00

SN730	Accord	Orthopaedic Cable System, Titanium Plate	150-250mm	$2,550.00

SN731	Accord	Orthopaedic Cable System, Sm Cable Grip	75-255mm	$1,400.00

SN732	Accord	Orthopaedic Cable System, SS Cable w/clamp	2.0mm	$621.00

SN733	Accord	Orthopaedic Cable System, SS Button Plate 	One Size Only	$355.00

Adapter

SN734	Accord	Orthopaedic Cable System, SS Screw Plate 	One Size Only	$275.00

Adapter

SN735	Accord	Orthopaedic Cable System, Std Cable Grip	85-265mm	$2,000.00

SN736	Legion Revision	Constrained Oxinium Femoral Component	Size 1 - 9	$8,320.00

SN739	Trigen	Self Tapping Cortical Screw	20mm - 60mm	$95.00

SN740	Trigen	Humeral Nail	7-11cm x 16-30cm	$660.00

SN741	Birmingham Modular Femoral Head	Cobalt Chrome	38 - 58mm	$2,392.00

SN742	Birmingham Hip Resurfacing Prostheses - 	Porous Coated	44 - 66 mm cups	$5,084.00

Acetabular Cup

SN743	Birmingham Hip Resurfacing Prostheses -  	Cemented	38 - 58 mm heads	$3,307.00

Femoral Component

SN744	Birmingham Hip Resurfacing Dysplasia Cup	Acetabular Cup Porous Coated with screw 	Dysplasia Cups:  46 - 66 mm cups	$7,280.00

fixation

SN745	Peri-Loc	3.5mm & 4.5mm Locking Plate, StainlessSteel	4 - 19 Holes	$1,314.00

SN749	Emperion Revision Hip	Stem Modular Titanium	Short & Long	$5,426.00

SN751	Synergy	Shortened Synergy Stem	1-18	$4,689.00

SN753	Accord Cable System	Titanium Plate	150mm	$1,900.00

SN754	Accord Cable System	Titanium Plate	250mm	$2,500.00

SN755	AccordCable System	Titanium Plate	200mm	$2,200.00

SN758	IMHS CP	IMHS lag screw	55mm to 150mm	$205.00

SN761	IMHS CP	Subtrochanteric lag screw	12.7mm x 70mm to 12.7mm x 	$205.00

140mm

SN762	IMHS CP	Captured locking screw	4.5mm x 22mm to 4.5mm x 64mm	$95.00

Prostheses List by Category and Sponsor	Page 340 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN763	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 16mm x 19.5cm left and right	$760.00

SN764	IMHS CP	Intramedullary Hip Nail, stainless steel	10 - 14mm x 32 - 44cm left and right	$830.00

SN765	Peri-Loc	2.7mm & 4.0mm Non Locking Screw	10 - 80mm	$50.00

SN766	Peri-Loc	Fixation Device, Internal, Non-Locking, 	3.5mm	$50.00

Stainless Steel, Cortical & Cancellous Screw

Size: 3.5mm

SN768	Peri-Loc	Fixation Device, Internal, Locking, Stainless 	4.5mm	$150.00

Steel, Cortical & Cancellous Screw

SN769	Peri-Loc	Fixation device, internal, locking and non-	5.7mm	$150.00

locking, stainless steel, cortical and cancellous

screw

SN770	Peri-Loc	Fixation device, internal, locking and non-	6.5mm	$80.00

locking, stainless steel, cortical and cancellous

screw

SN772	Trigen	Hindfoot Fusion Nail, Titanium Alloy	10 Diameter, 16-25cm Length	$1,195.00

SN773	Trigen	Hindfoot Fusion Nail, Titanium Alloy	11.5mm Diameter, 16-25cm Length	$1,195.00

SN774	IMHS CP	Captured Compression Screw, Stainless Steel	19mm	$93.00

SN775	IMHS CP	Set Screw, Stainless Steel	Standard	$65.00

SN776	IMHS CP	Self-Captured Nail Cap, Stainless Steel	standard	$79.00

SN777	GTS Sleeve	Polypropylene non-absorbable woven mesh	one size only	$270.00

SN779	Renasys Knee	Non Porous Femur	1-10	$5,189.00

SN780	Renasys Knee	P/S Insert	8-30mm, 1-10	$1,349.00

SN781	Renasys knee	Patella Biconvex and Resurfacing	23-35mm	$614.00

SN782	Peri-Loc	Plates, Stainless Steel, Non-Locking, Narrow, 	4.5mm	$407.00

Lefts & Rights

SN783	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, 	4.5mm. 6-16 hole	$320.00

Left & Rights

SN784	Peri-Loc	Plates, Stainless Steel, Non-Locking, Broad, 	4.5mm. 18-22 hole	$433.00

Left & Rights

SN790	Peri-Loc	Fixation Device, Internal, Locking, Stainless 	3.5mm, 10mm - 85mm length	$130.00

Steel, Cortical & Cancellous Screw

Prostheses List by Category and Sponsor	Page 341 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN791	Peri-Loc	Fixation Device, Internal, Locking, Stainless 	3.5mm, 90mm - 110mm length	$70.00

Steel, Cortical & Cancellous Screw

SN792	Peri-Loc	Fixation Device, Internal, Locking and Non-	4.0mm, 80mm - 100mm length	$70.00

Locking, Stainless Steel, Cortical &

Cancellous Screw

SN793	Peri-Loc	Fixation Device, Internal, Non-Locking, 	4.5mm, 10mm -110mm length	$70.00

Stainless Steel, Cortical & Cancellous Screw

SN794	Peri-Loc	Fixation Device, Internal, Non-Locking, 	4.5mm, 115mm -130mm length	$80.00

Stainless Steel, Cortical & Cancellous Screw

SN795	Peri-Loc	Plates, Stainless Steel, Locking, Compression 	3.5mm	$334.00

& Tubular, Lefts and Rights

SN796	Peri-Loc	Plates, Stainless Steel, Locking, Compression,	 3.5mm, 4 - 12 holes	$506.00

Lefts and Rights

SN797	Peri-Loc	Plates, Stainless Steel, Locking, Compression,	3.5mm, 14 - 18 holes	$685.00

Lefts and Rights

SN798	Peri-Loc	Plates, Stainless Steel, Locking, Compression,	3.5mm, 20 - 22 holes	$740.00

Lefts and Rights

SN800	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	3.5mm, 4-10 holes	$231.00

Reconstruction, Lefts and Rights

SN801	Peri-Loc	Plates, Stainless Steel, Non-Locking, 	3.5mm, 12-14 holes	$340.00

Reconstruction, Lefts and Rights

SN802	Genesis II	Patella Biconvex UHMWPE Revision	23-35mm	$614.00

SN803	Genesis II/Profix	P/S Femoral Component, Oxinium	1-9	$4,992.00

SN804	Genesis II/Profix	Constrained Femoral Component, Oxinium	1-9	$4,992.00

SN805	Profix Constrained Femur	Insert, UHMWPE Revision	Left & Right, Size 1-6, 10 - 20mm	$1,118.00

SN806	Axis	Ceramic Femoral Head AlO3 12/14Taper	>32mm	$1,650.00

>32MM

SN807	Femoral Head	Ceramic AlO3	14/16 taper, >32mm, Std - Xlong	$1,990.00

SN809	Femoral head	Co Cr, 14/16 taper	>32mm, Short -XXXLong Neck	$745.00

SN810	Femoral Head	Co Cr, 12/14Taper	>32mm	$728.00

SN811	Reflection	Head Ceramic, AlO3	>32mm	$1,990.00

SN812	Femoral Head	12/14, 14/16 Taper, Oxinium	>32mm, -3 - +16mm	$2,340.00

SN813	Femoral Head	Stainless steel	>32mm,+0-+16mm	$705.00

Prostheses List by Category and Sponsor	Page 342 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN814	Genesis II	Femoral Component Constrained Co Cr	Left & Right size 1-8	$3,068.00

SN815	Profix	Femoral Porous	Left/Right Size 1-8	$3,250.00

SN817	Emperion Revision Hip	Short Stem Modular Calcar Build-up	+10, +20mm	$5,426.00

SN818	Emperion Revision Hip	Long Stem Modular Titanium Calcar Build-up	+10, +20mm	$5,426.00

SN819	Emperion Revision Hip	Proximal Modular Cone Standard	0, 1, 2, 3, 4	$3,818.00

SN820	Emperion Revision Hip	Proximal Modular Cone Long	0, 1, 2, 3, 4	$3,818.00

SN821	Legion Revision	Legion Femoral Augment	5-15mm	$1,180.00

SN822	Legion Revision	Legion Tibial Augment	5-15mm	$1,410.00

SN823	Legion Revision	Legion stem extension	120-220mm	$1,810.00

SN824	Legion Revision	Legion revision baseplate	1-8	$2,950.00

SN825	Mid Head Resection Stem	HA Porous Stem	1-19	$5,133.00

SN826	Birmingham PC Hip Replacement	Resurfacing prostheses - femoral component	30-70	$3,307.00

SN827	Peri-Loc UE	2.7mm & 3.5mm  Volar Distal Radius 	60mm - 132mm	$1,314.00

Locking Plate

SN829	Peri-Loc UE	2.7mm Locking Recon Plate 6-14 Holes	48mm - 113mm	$1,314.00

SN830	Peri-Loc UE	2.7mm Locking Self Tapping Cortex Screw	10mm - 60mm	$120.00

SN831	Peri-Loc UE	Locking plates SS: Distal Radius, Olecrannon,	2.5-4.5mm, 3-14 holes	$1,500.00

Humerus, Clavicle

SN832	Peri-Loc UE	Self Tapping Cortex Locking Screw	2.5-2.7mm, 10-60mm length	$130.00

SN833	Peri-Loc UE	Self Tapping Cortex Non Locking Screw	2.5mm, 10-30mm length	$50.00

SN834	Competitor Deuce	Patello Femoral Oxinium	Sm, Med Lg, XLg	$3,000.00

SN835	Competitor Deuce	Oxinium Femoral Component	1-8	$5,000.00

SN836	Competitor Deuce	Tibial Baseplate, titanium	1-8	$1,530.00

SN837	Competitor Deuce	Tibial Insert	10-18mm	$732.00	$833.00

SN838	Trigen InterTAN Nail	Nail, Titanium	diameter 10-13mm	$1,350.00

length 18-46cm

Angle 125°-135°

SN839	Trigen InterTAN Nail	Lag/Compression Screw, Titanium	30-120	$410.00

SN840	Trigen InterTAN Nail	Lag Screw, Titanium	70-120mm	$93.00

SN841	Trigen META	Metaphyseal Nail, Titanium	8.5-13mm	$1,250.00

15x50cm

Prostheses List by Category and Sponsor	Page 343 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SN842	Platform Hip Stem	Titanium grit blasted stem	0-12	$3,450.00

SN843	Anthology Hip System	HA Coated Porous Tapered titanium stem	0-20	$5,133.00

SN845	Reflection	CoCr Acetabular Insert	52 - 60mm	$2,354.00

SN846	KINSA	Suture Anchor, Polmer With Polyester Suture 	2.9mm	$600.00

Material

Stryker Australia Pty Ltd

HW394	Stryker Bilox Forte Alumina Femoral Head	36mm	$2,055.00

SK427	Solar Reunion Humeral Fracture System	Solar Reunion Humeral Fracture System	Short & Long	$6,100.00

SK428	Trident Tritanium Acetabular Shells	Acetabular Shell	46mm - 80mm	$3,345.00

SK429	Trident Tritanium Acetabular Shells	Acetabular Shell, PA Coating	46mm - 80mm	$3,500.00

SK430	Trident Constrained All Poly Acetabular Cup	UHMWPE constrained cemented cup	40-70mm	$1,765.00

SK431	Triathlon CS Lipped Insert	Tibial Insert posterior cruciate retaining & 	Sizes 1-8 _small - large) size 	$1,430.00

Posterior Stabilised Fixed beraing, N2VAC 	increments, 9mm, 11mm, 13mm,

Polyethylene	16mm, 19mm, 22mm, 25mm

SK432	Triathlon CS Lipped Insert	Tibial Insert posterior cruciate retaining & 	Sizes 1-8 _small - large) size 	$1,430.00

Posterior Stabilised Fixed beraing, 	increments, 9mm, 11mm, 13mm,

sequentially crossed linked polyethylene	16mm, 19mm, 22mm, 25mm

SK433	Triathlon PA Tibial Baseplate with screw holes	Triathlong Press fit beaded screw in base plates	1-8	$2,672.00

with Periapetite

SK434	Triathlon Revision System	Titanium Fluted Stem	10-25 (100mm) 10-25 (150mm)	$3,050.00

SK435	Triathlon Revision System	Offset adaptor	2,4,6,8mm	$2,000.00

SK436	Triathlon Revision System	Total Stabilizer Tibial insert +/- 10degrees 	Tibial Insert Sizes: Left & right 9-	$1,841.00

internal/external rotation, posterior stabilized, 	31mm sizes 1-8

fixed bearing, N2VAC polyethylene. + 	Reinforced Post Sizes 9-31mm

Reinforced Stabilizing post

SK437	Triathlon Revision System	Total Stabilizer Plus Tibial insert +/- 2degrees	Tibial Insert Sizes: Left & right 9-	$1,841.00

internal/external rotation, posterior stabilized, 	31mm sizes 1-8

fixed bearing, N2VAC polyethylene. + 	Reinforced Post Sizes 9-31mm

Reinforced Stabilizing post

SK438	Triathlon Revision System	Total Stabilizer + Tibial insert +/- 10degrees 	Tibial Insert Sizes: Left & right 9-	$1,841.00

internal/external rotation, posterior stabilized, 	31mm sizes 1-8

fixed bearing, sequentially crossed linked 	Reinforced Post Sizes 9-31mm

polyethylene. + Reinforced Stabilizing post

Prostheses List by Category and Sponsor	Page 344 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK439	Triathlon Revision System	Total Stabilizer Plus Tibial insert +/- 2degrees	Tibial Insert Sizes: Left & right 9-	$1,841.00

internal/external rotation, posterior stabilized, 	31mm sizes 1-8

fixed bearing, sequentially crossed linked 	Reinforced Post Sizes 9-31mm

polyethylene. + Reinforced Stabilizing post

SK440	Triathlon Revision System	Total stabilizer femoral component	Left & Right Size 1-8	$6,000.00

SK441	Triathlon Revision System	Femoral Augment	Left & Right 5mm size 1-8	$1,600.00

10mm size 1-8

15mm size 1-8

SK442	Triathlon Revision System	Stem extender	25mm & 50mm	$1,800.00

SK443	ABG II Modular Hip System	ABGII Modular Stem	Size 1-8, Left and Right	$3,060.00	$4,428.00

SK444	ABG II Modular Hip System	ABGII Modular Neck	Long & Short	$1,180.00

SK445	Rejuvinate SPT Femoral Hip System	Rejuvinate Modular Stem, TMZF	7-12	$3,200.00	$4,428.00

SK446	Rejuvinate SPT Femoral Hip System	Rejuvinate Modular Neck	30-38mm	$1,180.00

SK447	Rejuvinate SPT Hip System	Rejuvinate Monolithic Stems, TMZF	4-12	$5,044.00

SK449	Stryker Plating System	Locking Compression Straight Plates 	2 Hole to 22 Hole	$1,450.00

Stainless Steel

SK450	T2 Ankle Arthrodesis Nail	T2 Ankle Arthrodesis Type II Anodized 	10, 11, 12mm Diameters & 150,200	$1,700.00

Titanium Alloy (Ti6A14V)	 & 300mm Lengths

SK451	XCEL Anchor	Bio-absorbable Suture Anchor	2mm-10mm	$440.00

SK452	Stryker Plating System	Self-Tapping/Cortical Sterile Screws	2.7mm - 4.5mm Diameter	$90.00

Stainless Steel or Titanium Alloy	8mm - 150mm Length

SK453	X3 Polyethylene Inserts	SXL Trident Acetabular Inserts	>36mm	$1,560.00

SK454	VariAx Plate	Volar Plate, Polyaxial Locking	Narrow & Standard; Short & Long; 	$2,350.00

Right & Left

SK456	Ligature Wire	Titanium or Stainless Steel	Diameter 0.25 -2.0mm, Length 1- 	$20.00

400mm

SK458	Simplex P Speed Set Bone Cement	PMMA Bone Cement	40g pack	$200.00

SK460	Exeter RimFit X3 Cup	X3 Polyethylene Rim Fit Cup	40mm to 60mm OD, 36mm ID	$936.00	$1,376.00

ST001	Restoration T3 Revision Hip System - 	Titanium Alloy	S,M,L	$2,460.00

Proximal Sleeve

ST003	Stryker Plating System Screws - Cortical 2.7 	Stainless Steel/Titanium	Diameter 2.7mm, screw length 8-	$19.00

& 3.5	20mm

Prostheses List by Category and Sponsor	Page 345 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST004	Stryker Plating System Screws - Cortical 4.5mm	Titanium or Stainless Steel	10-20mm	$25.00

ST005	Stryker Plating System Screws - Cancellous	6.5mm Stainless Steel or Titanium	20-50mm	$35.00

ST006	Stryker Plating System Screws - Cancellous 	Stainless Steel or Titanium, Full or Partial 	10-60mm Screw Length	$70.00

4.0mm	Thread

ST007	Stryker Plating System - K Wires	Stainless Steel or Titanium	150mm length in 1.25, 1.6, 2.0mm 	$18.00	To be funded where any or all K-

diameter	wires used in a procedure are used as

an implant.

ST008	Stryker Plating System Small & Basic 	Narrow or Broad	2-20 holes, 26-260mm plate length	$310.00

Fragment - Compression Plate

ST011	Restoration T3 Revision Hip System - 	Titanium Alloy	S,M,L	$4,846.00

Proximal Body

ST013	Hip - Trident All Polyethelene Cup	Enhanced Polyethylene	40-64mm(Outer Diameter)	$936.00

ST017	Stryker Plating System Small & Basic 	Stainless Steel or Titanium	50-60mm	$380.00

Fragment - Calcaneal Plate

ST018	Scorpio Augmentation Femoral / Tibial	Cobalt Chrome	5mm & 10mm for all sizes of femur 	$1,009.00

and tibia. 5 degrees for all tibia sizes

ST020	Bonesave	Calcium phosphate based granules	40gms, granule size 2-4mm	$1,750.00

ST021	Bonesave	Calcium phosphate based granules	40gms, granule size 4-6mm	$1,750.00

ST023	Scorpio Cemented Femur	Cruciate Retaining	3, 5, 7, 9, 11, 13	$3,400.00

ST024	Scorpio Tibial Insert	Revision	8-24mm for all tibia sizes	$1,841.00

ST025	Stryker Plating System Small Fragment Set	Stainless Steel	4-9 Holes	$497.00

ST026	Scorpio Offset Adaptor	Cobalt Chrome	2mm-8mm	$1,226.00

ST027	Solar - Dual Offset Humeral Head	Cobalt Chrome	40-50mm diameter, 15-21mm 	$2,330.00

thickness

ST029	Scorpio Tibial Tray	Cementless	3,5,7,9,11,13	$2,298.00

ST030	Scorpio Femoral Component - cementless with	Cruciate Retaining	3,5,7,9,11,13	$4,160.00

PA

ST031	Scorpio Tibial Tray	PA	3,5,7,9,11,13	$2,672.00

ST032	Scorpio Tibial Insert	Mobile Bearing	8-24mm for all tibia sizes	$1,300.00

ST033	Scorpio Femoral Component - Cementless	Cruciate Retaining	3,5,7,9,11,13	$3,500.00

ST034	Scorpio Tibial Tray	Revision	3,5,7,9,11,13	$2,593.00

Prostheses List by Category and Sponsor	Page 346 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST035	Stryker Trauma Locking Nail System: 	Titanium	One size only	$165.00

Compression Screw

ST036	Stryker Plating System Small & Basic 	Oblique T Plate or T Plate, Stainless Steel or 	42-86mm Length	$304.00

Fragment - T Plate	Titanium, Oblique

ST037	Stryker Plating System SmallFragment Set	One Third Tubular Plate with Collar	2-8 Holes	$113.00

ST038	Stryker Plating System -  Reduction Pin	4.5mm Diameter, Stainless Steel	One size only	$175.00

ST039	Stryker Plating System Small & Basic 	Stainless Steel or Titanium, Left or Right	3-20 Holes, 67-339mm Plate Length	$231.00

Fragment - L Plate

ST040	Stryker Plating System - Washers & Nuts	Stainless Steel or Titanium	Nuts 5.0 or 4.5mm thickness; 	$18.00

Washers 7 - 13mm diameter

ST041	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	6-14 holes	$316.00

ST043	Stryker Trauma Locking Nail System: 	Titanium	20-120mm	$140.00

Locking Screw with & without shaft

ST044	Scorpio Augmentation Locking Screw	Cobalt Chrome	5-15mm	$138.75

ST045	Stryker Trauma Locking Nail System: End 	Titanium	Standard, +5, +10, +15	$95.00

Cap

ST046	Stryker Trauma Locking Nail System: Tibial 	Standard, Proximal & Distal; Titanium	8-15mm diameter; 240-420mm 	$800.00

Nail	length

ST047	Stryker Trauma Locking Nail System: 	Titanium	One size only	$96.00

Condyle Screw (including nut)

ST051	Stryker Plating System Small Fragment Set	Cloverleaf Plate	3-5 Holes	$340.00

ST054	EIUS Tibial Component	Polyethylene	XS, S, M, L, XL	$1,282.00

ST055	EIUS Femoral Component	Cobalt Chrome	XS, S, M, L, XL	$2,136.00

ST059	Stryker Trauma Locking Nail System: 	Titanium	13-15mm diameter; 240-480mm 	$800.00

Femoral Nail	length

ST061	Scorpio Femoral Component	Revision	3,5,7,9,11,13	$5,304.00

ST062	Auto Pilot 1.7mm Quik Flap System	Kit contains three titanium 2 hole plates, and 6	2 hole plate. 4mm length screw	$420.00

titanium alloy bone screws

ST063	Auto Pilot 1.7mm Quik Burr System	Kit contains one 14mm Malleable Burr Hole 	14mm plate. 4mm length screw	$407.00

Cover plate and 5 titanium alloy bone screws

ST064	Square Fit 1.7mm Quik Burr System	Kit contains one 14mm Malleable Burr Hole 	14mm plate. 4mm length screw	$380.00

Cover plate and 5 titanium alloy bone screws

Prostheses List by Category and Sponsor	Page 347 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST065	Cross Slot 2.0mm Quik Flap System	Kit contains three titanium 2-hole plates and 	2 hole plate. 4.0mm length screw	$407.00

six titanium low profile bone screws

ST066	Scorpio Tibial Tray	Cemented	3, 5, 7, 9, 11, 13	$2,182.00

ST067	Scorpio Tibial Tray	Mobile Bearing Cementless	3, 5, 7, 9, 11, 13	$2,826.00

ST068	Connector - Multi Axial	Titanium	29-99mm	$4,950.00

ST069	Scorpio Tibial Tray	Mobile Bearing Cemented	3, 5, 7, 9, 11, 13	$2,005.00

ST539	Constrained acetabular insert 	Polyethylene & cobalt chrome  	22, 26, 28, 32mm dia	$3,016.00

ST541	Secur-Fit Plus max hip system	Secur-Fit Plus femoral stem titanium - HA 	Stem sizes 7-14	$5,200.00

coated

ST545	Osteonics hip prostheses 	Cancellous bone screw, Titanium	6.5mm & 5.5mm dia	$137.00

ST546	Trident acetabular component system	Leteralised cup insert, enhanced polyethylene	26, 28 & 32mm	$1,160.00

ST547	Restoration acetabular gap ring 	Titanium 	48-72mm OD in 2mm increments	$3,432.00

ST548	Trident acetabular component system 	Trident shell,  titanium - HA coated	40-74mm OD in 2mm increments	$2,704.00

ST549	Trident acetabular component system	Trident polyethlene liner, enhanced 	22, 26, 28, 32mm dia	$1,160.00

polyethlene

ST551	Osteonics hip prostheses	Dome hole plug titanium	One size only	$165.00

ST552	Osteonics hip prostheses	All poly cup polyethylene	OD: 46-61mm.  ID: 22, 26, 28, 	$750.00

32mm

ST554	Osteonics secur-fit - HA PSL acetabular shell	Secur-fit PSL shell  titanium - HA coated	OD: 40-72mm in 2mm increments 	$2,704.00

ST555	Osteonics secur-fit - HA PSL acetabular shell	Secur-fit ABC shell  titanium - HA coated  for 	OD: 40-72mm in 2mm increments 	$2,704.00

use with ceramic liners

ST557	Restoration gap II acetabular shell	GAP CUP II  titanium anatomic (left & right)	48-72mm OD in 2mm increments 	$3,952.00

ST558	Osteonics secur-fir HA PSL acetabular shell	Secur fit  XTRA shell, titanium - HA coated  	48-80mm OD in 2mm increments	$2,704.00

peripheral screw holes

ST559	Omnifit cup insert	Series II - 0 degree cup insert polyethylene	22, 26, 28 & 32mm dia	$884.00

ST560	Omnifit cup insert	Series I - 0 degree cup insert, polyethylene	22, 26, 28 & 32mm dia	$884.00

ST561	Omnifit cup insert	Series II - 10 degree cup insert polyethylene	22, 26, 28 & 32mm dia	$884.00

ST562	Omnifit cup insert 	Series I - 10 degree cup insert polyethylene	22, 26, 28 & 32mm dia	$884.00

ST563	Omnifit cup insert	Series II -20 degree cup insert,  polyethylene	22, 26, 28 & 32mm dia	$884.00

ST564	Omnifit cup insert	Series I -20 degree cup insert polyethylene	22, 26, 28 & 32mm dia	$884.00

ST565	Alumina acetabular inserts	Ceramic insert, alumina	28, 32 & 36mm dia	$2,558.00

Prostheses List by Category and Sponsor	Page 348 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST566	Osteonics hip prostheses	Bipolar head,  cobalt chrome with 	ID 22, 26, 28, 32mm dia 	$1,579.00

polyethylene insert (factory Assembled)

ST568	Stryker femoral Head	Metal head with LFIT treatment	22-32mm	$795.00

ST569	Taper Adaptor	Neck extention, vitallium alloy	-4 TO +12mm	$285.00

ST570	Large Diameter Moduar Heads	UNITRAX Vitallium alloy /CoCr	38-64mm OD 2mm increments	$988.00

ST573	Omnifit hip stem	OMNIFIT - HA  titanium - HA coated	Stem sizes 4-14	$4,212.00

ST574	secur-fit HA Max hip stem	SECUR-FIT femoral stem, titanium HA 	Stem sizes 4-14 in 127 and 132 	$5,044.00

coated	degree neck angles

ST575	Osteonics hip prostheses	ACCOLADE STEM  titanium - HA coated  	Stems sizes 0, 1, 2, 2.5,3, 3.5, 4, 	$5,044.00

127 & 132 degree offset	4.5, 5, 5.5, 6, 7, 8

ST576	Omnifit hip system	OMNIFIT cemented femoral component - 	Stem sizes 4-11	$2,000.00

normalised cobalt chrome

ST577	Omnifit hip system 	OMNIFIT 'C' stem - cemented  cobalt chrome,	Stem sizes 4-11	$2,000.00

collared and collarless, 132 degree offset

ST581	Osteonics hip prostheses	Distal spacer  PMMA	8-15mm	$155.00

ST582	Osteonics hip prostheses 	Cement restrictor Polyethylene	Universal and sizes 1-8	$155.00

ST584	Osteonics omnifit cemented long stem	Long stem - coated, cobalt chrome	Stem sizes  5-11, stem length 200, 	$3,150.00

250 AND 300mm

ST586	Osteonics omnifit head/neck hip stem 	Head/neck hip stem cobalt chrome	Stem sizes  5, 7 & 9	$1,850.00

ST587	Osteonics hip prostheses	Restoration stem - 155mm  titanium - HA 	155mm length - stem sizes 7-12	$5,304.00

coated

ST588	Osteonics hip prostheses	Restoration stem - 205mm  titanium - HA 	205mm length - stem sizes  8-12	$6,136.00

coated

ST589	Osteonics hip prostheses	Restoration cacar replacement stem 15mm  	205mm length - stem sizes 8-14	$6,900.00

titanium - HA coated

ST591	Osteonics hip prostheses 	Restoration HA long stem titanium - HA 	255mm length - stem sizes 8 - 14, 	$6,448.00

coated anatomic (left & right)	left & right

ST596	Osteonics hip prostheses	Custom made for extended indications  	Custom made per patient	$1,125.00

titanium, polyethylene, vitallium

ST600	Avon Patello-femoral Prostheses	Vitallium	Extra Small, Small, Medium, Large	$2,969.00

ST601	Duracon total knee system	Tibial insert stabiliser revision  vitallium	Extra Small, Small, Medium, 	$1,596.00

Medium Large, Large, Extra Large

Prostheses List by Category and Sponsor	Page 349 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST602	Duracon total knee system	Femoral component stabiliser revision  vitallium	Extra Small, Small, Medium, 	$5,928.00

Medium Large, Large, Extra Large

ST603	Duracon total knee system	Augmentation offset adaptor  vitallium	4mm, 6mm, 8mm	$1,321.00

ST604	Duracon total knee system	Augmentation revision  vitallium	5mm, 10mm	$1,050.00

ST606	Duracon total knee system	Stem fluted - femoral/tibia  vitallium	10mm-19mm, 21mm, 23mm in 	$1,466.00

80mm and 155mm lengths

ST608	Scorpio Tibial Insert	Cruciate Retaining	8-18mm in 2mm increments	$1,200.00

ST609	Osteonics Knee System	Scorpio resurfaced patella components cobalt 	26-32mm in 2mm increments 	$520.00

chrome	10mm thick

ST634	Osteonics Knee System	Femoral component cemented cobalt chrome	3, 5, 7, 9, 11, 13	$3,400.00

ST636	Osteonics Knee System	Patella polyethylene 	3, 5, 7, 9, 11, 13	$520.00

ST643	Osteonics Knee System	Tibial insert primary polyethylene	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 	$1,200.00

18, 21,24mm

ST644	Osteonics Knee System	Tibial insert posterior stabilised - PSI 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 	$1,200.00

polyethylene	18, 21,24mm

ST645	Osteonics Knee System	Tibial insert posterior stabilised - PSII 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 	$1,200.00

polyethylene	18, 21,24mm

ST646	Osteonics Knee System	Tibial insert posterior stabilised - PSIII 	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 	$1,200.00

polyethylene	18, 21,24mm

ST647	Osteonics Knee System	Tibial component All polyethylene cobalt 	3, 5, 7, 9, 11, 13	$1,248.00

chrome

ST648	Osteonics Knee System	Tibial component H/A cobalt chrome with HA	3, 5, 7, 9, 11, 13	$2,652.00

coating

ST655	Unicompartmental Knee (Femoral Component)	Femoral component cobalt chrome with HA  	1, 2, 3, 4	$2,450.00

coating

ST656	Unicompartmental Knee (Tibial Bearing)	Tibial insert polyethylene	1, 2, 3, 4 in 8, 10, 12, 15mm	$1,456.00

ST658	Osteonics Knee System	Augmentation - Fem/Tib  cobalt chrome 	3, 5, 7, 9, 11, 13 in 4mm, 8mm, 10	$728.00

degree and 20 degree

ST672	Osteonics Solar Shoulder Prostheses 	Humeral head polyethylene	40-55mm by 12-34mm	$1,525.00

ST673	Osteonics Solar Shoulder Prostheses	Dual offset humeral head polyethylene	40,45,50mm Diameter by 15, 18, 	$1,356.00

21mm Thickness

ST674	Osteonics Solar Shoulder Prostheses 	Humeral stem polyethylene	3,5,7,9,11	$3,845.00

ST675	Osteonics Solar Shoulder Prostheses 	Glenoid component polyethylene	5,7,9,11	$2,365.00

Prostheses List by Category and Sponsor	Page 350 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST676	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral inner head, cobalt 	22mm with 0, +2 and +4mm neck 	$1,835.00

chromium	lengths

ST715	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 4 hole	$152.00

system, fixation straight plate, titanium

ST716	Leibinger Titanium Implant System	Leibinger profyle hand & small fragment 	1.2mm system, 16 hole	$253.00

system, fixation straight plate, titanium

ST717	Leibinger Titanium Implant System	Hand System, Bone Plate, T-Shape	1.2mm, 5 holes	$247.00

ST719	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 5 holes	$234.00

system, fixation plate, Y-shape, narrow, titanium

ST720	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 2x2 holes	$267.00

system, fixation plate, 3D plate, titanium

ST721	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 3x2 holes, 2x2 + 2 	$395.00

system, fixation plate,  3D plate, titanium	holes

ST722	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 4x2 holes	$520.00

system, fixation plate,  3D plate, titanium

ST723	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.2mm system, 4x2 holes	$440.00

system, fixation plate, replant plate, titanium

ST724	Leibinger Titanium Implant System	Profyle hand cross-slot, self-tapping	Diameter 1.2 - 1.4mm,  Length  3-	$78.00

13mm

ST726	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 4 holes	$152.00

system, straight plate, titanium

ST728	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 16 holes	$330.00

system, fixation straight plate, titanium

ST730	Leibinger Titanium Implant System	Hand system, fixation plate, L-shape, right/left	1.7mm, 6 holes	$225.00

ST731	Leibinger Titanium Implant System	Hand system, T-shape, right/left	1.7mm, 6 Holes	$247.00

ST733	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 7 holes	$267.00

system, fixation plate, T-shape, 90 deg, titanium

ST734	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 7 holes	$285.00

system, Y-shape, narrow, titanium

ST735	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 9 holes	$305.00

system, Z-shape, titanium

ST736	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 4x2 holes	$520.00

system, replant plate, titanium

Prostheses List by Category and Sponsor	Page 351 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST737	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 5 holes	$234.00

system, condylar compression plate with bar,

right/left, titanium

ST738	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 2x2 holes	$267.00

system, fixation, 3D plate, titanium

ST739	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 2x2 + 2 holes	$395.00

system, fixation, 3D plate, titanium

ST740	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 3x2 holes	$395.00

system, 3D plate, titanium

ST741	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm system, 4x2 holes	$520.00

system, 3D plate, titanium

ST742	Leibinger Titanium Implant System	Leibinger profyle hand & small  fragment 	1.7mm diameter  x 5-17mm	$49.00

system, cross-slot, self-tapping screws, titanium

ST743	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	1.7mm diameter x 18-24mm	$54.00

System, cross-slot, self-tapping screws, titanium

ST744	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	1.6mm diameter	$56.00

System, cross-slot, self-tapping screws ,

Titanium

ST745	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	1.9x5mm	$60.00

System, emergency, cross-slot, self-tapping

screw, Titanium

ST748	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 5 holes	$157.00

System, straight compression plate, Titanium

ST749	Leibinger Titanium Implant System	Hand System, straight plate, Compression and	2.3mm, 4 - 6 holes	$160.00

non-compression plate

ST750	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 16 holes	$330.00

System, fixation straight plate, Titanium

ST751	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 6 holes	$247.00

System, fixation and compression plate, L-

shape, 90 deg, right/left, Titanium

ST752	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 6 holes	$247.00

System, fixation and compression plate, L-

shape, oblique, right/left, Titanium

Prostheses List by Category and Sponsor	Page 352 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST753	Leibinger Titanium Implant System	Hand system, compression & non-compression	2.3mm, 6 holes	$267.00

plates, T-shape

ST755	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 7 holes	$280.00

System, fixation and compression plate, T-

shape, 90 deg, Titanium

ST756	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 7 holes	$305.00

System, fixation and compression plate, Y-

shape, narrow, Titanium

ST757	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 13 holes	$320.00

System, fixation plate, Z-shape, Titanium

ST758	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 5 holes	$228.00

System, condylar compression plate, right/left,

Titanium

ST759	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 6 holes	$228.00

System, condylar compression plate, right/left,

Titanium

ST760	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 4x2 holes	$435.00

System, replant plate, Titanium

ST761	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 2x2 holes	$267.00

System, fixation plate, 3D plate, Titanium

ST762	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 2x2 +2 holes	$395.00

System, 3D plate, Titanium

ST763	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 3x2 holes	$380.00

System, fixation plate, 3D plate, Titanium

ST764	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 4x2 holes	$505.00

System, fixation plate, 3D plate, Titanium

ST765	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm diameter x 6-18mm	$50.00

System, cross-slot, self-tapping screw, Titanium

ST766	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm diameter x 19-24mm	$49.00

System, cross-slot, self-tapping screw, Titanium

ST767	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.5mm diameter x 6mm	$54.00

System, emergency cross-slot screw, Titanium

ST768	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 4 holes	$222.00

System, compression plate with bar, Titanium

Prostheses List by Category and Sponsor	Page 353 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST769	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 5 holes	$239.00

System, compression plate with bar, Titanium

ST770	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 6 holes	$267.00

System, compression plate with bar, Titanium

ST771	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 7 holes	$285.00

System, compression plate with bar, Titanium

ST772	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 8 holes	$300.00

System, compression plate with bar, Titanium

ST773	Leibinger Titanium Implant System	Hand system, compression plate, 90 deg, L-	2.3mm, 6 Hole	$275.00

shape, right/left

ST775	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.3mm system, 6 holes	$280.00

System, compression plate, T-shape, oblique,

right/left, Titanium

ST777	Leibinger Titanium Implant System	Leibinger Profyle Hand & Small Fragment 	2.5mm diameter	$50.00

System, screw, Titanium

ST783	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, 	Diameter 2.3mm, Length 8mm - 	$71.50

screw, Titanium	22mm

ST784	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, 	2.7x12mm, 2.7x14mm, 2.7x16mm,	$140.00

screw, Titanium	 2.7x18mm, 2.7x20mm,2.7x22mm

ST785	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, 	3.0x14mm, 3.0x16mm, 3.0x18mm 	$140.00

emergency screw, Titanium

ST786	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, 	4 holes	$320.00

straight plate, Titanium

ST787	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, 	6 holes	$480.00

straight plate, Titanium

ST788	Leibinger Titanium Implant System	Leibinger Forefoot Reconstruction System, 	4 holes	$330.00

curved plate, Titanium

ST789	Leibinger Titanium Implant System	Leibinger Plates - Wrist Arthrodesis Plates, 	8 and 12 holes	$90.00

partial and total, right/left, Titanium

ST799	ABG Hip System	PEEK Composite inserts to be used with the 	To fit ABG 11 cup sizes OD 50, 52,	$1,160.00

ABG acetabular shell.  All inserts have a 	 54, 56, 58mm

28mm internal diameter.

ST801	Accolade C Femoral Hip System	Distal modular PMMA spacer	Small, medium, large	$145.00

ST802	Accolade C Femoral Hip System	Forged CoCr cemented hip system	Stem sizes 2 - 7	$1,850.00

ST804	Grosse and Kempf Locking Nail - 4.6mm	Cross screws	20 - 70mm length	$93.00

Prostheses List by Category and Sponsor	Page 354 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST818	Osteonics Solar Elbow System - humeral 	Titanium alloy with polyethylene bushing	Standard, large	$3,570.00

assembly

ST819	Osteonics Solar Elbow System - long humeral 	Titanium alloy with polyethylene bushing	Standard, large	$4,618.00

assembly

ST820	Osteonics Solar Elbow System - ulna 	Titanium alloy	Small, standard, large	$1,410.00

component

ST821	Titanium Adapter Sleeve	For use with V40 spiggots/trunnions	One size only	$165.00

ST830	Stryker Wedge Interference Screw	Small threaded titanium screw for 	Diameter 7 - 9mm, Length 20 - 25mm	$177.60

ligament/tendon fixation

ST865	OP-1 Implant - Osteogenic Protein 1, 3.5mg	Osteoinductive and osteoconductive bone graft 	1 vial	$6,400.00

substitute

ST866	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 8, 10, 12mm	$140.00

ST867	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 14, 16, 18mm	$74.00

ST868	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 20, 22, 24mm	$45.00

ST869	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 26, 28, 30mm	$69.00

ST870	Leibinger 2.7mm Profyle Modular Screw	Titanium screws for fixation of hand fractures	2.7 x 32, 34, 36, 38mm	$70.00

ST877	Osteonics Solar Shoulder Prostheses	Solar bipolar humeral  outer head, cobalt 	22mm with 0, +2 and +4mm neck 	$1,835.00

chromium	lengths

ST878	Monticelli-Spinelli External Fixation	Anodized metal alloy, three quarter ring	Small, Medium, Large	$6,585.00

ST884	Apex Pins	Stainless Steel Orthopaedic Pins	2 - 6mm	$135.00

ST885	Howmedica Dynamic Joint Distractor	Y Body Assembly - Stainless Steel	One size only	$1,240.00

ST886	Howmedica Dynamic Joint Distractor	Pin Stop Collar - Stainless Steel	One size only	$190.00

ST887	Howmedica Dynamic Joint Distractor	Pin to Rod Coupling - Stainless Steel	One size only	$385.00

ST888	Howmedica Dynamic Joint Distractor	Complete Y Body Frame - Stainless Steel	One size only	$4,070.00

ST889	Howmedica Dynamic Joint Distractor	Straight Body Assembly - Stainless Steel	One size only	$1,025.00

ST890	Steinmann Pins	Stainless Steel	7,9"	$90.00

ST891	Hoffmann II External Fixation System	Pin clamp assembly with no post	One Size Only	$645.00

ST892	Hoffmann II Compact External Fixation 	Pin clamp assembly with no post	One Size Only	$695.00

System

ST912	Duracon Total Knee Tibial Insert	Duracon ISA Mobile-Bearing PE Tibial Insert	Small, medium, large, X-large - left,	$1,300.00

right

Prostheses List by Category and Sponsor	Page 355 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST913	Duracon Total Knee System	Duracon ISA Mobile-Bearing CoCr Tibial 	Small, medium, large, X-large	$2,005.00

Baseplate

ST925	Scorpio Tibial Bearing Insert	Scorpio tibial insert - superflex.  Composition 	3, 5, 7, 9 , 11, 13 in thickness 8, 	$1,404.00

- N2VAC UHMWPE	10, 12, 15, 18, 21, 24mm

ST927	Titanium Adapter Sleeve	Composition - titanium, Morse taper	Use with C-taper alumina heads 28, 	$160.00

32 and 36mm dia

ST930	System 12 +4mm Acetabular Insert	Composition - Duration stabilized 	28 and 32mm ID with a 10 degree 	$1,160.00

polyethylene	hood to fit all sizes of System 12

shells

ST931	System 12 Crossfire Insert	Composition - Crossfire polyethylene	Fits 46 - 72mm System 12 shells in	$1,160.00

28 and 32mm ID with 0 and 10

degree insert orientation

ST932	Stryker Trident Constrained Acetabular Insert	Two pre assembled components: Outer insert 	Sizing 22 - 32mm in 0 degrees & 	$3,016.00

component and a captured UHR (Universal 	10 degrees

Head) component.  Composition - Cobalt

chrome alloy and UHMWPE (ultra high

molecular weight polyethylene) with a

Titanium 6A1-4V ELI alloy retaining ring

ST933	Trident Multi-Hole Acetabular Shell	Composition - Titanium (Ti-6AL-4V) with 	Shell sizes: 42 - 74mm OD	$2,704.00

Arc Deposit Surface and Pruefix HA Coating

ST935	Hoffman II External Fixation System	Anodised metal alloy, rod to rod coupling	8/8mm	$655.00

ST936	Hoffman II External Fixation System	Anodised metal alloy, pin to rod coupling	8/4, 5mm	$655.00

ST937	Hoffman II External Fixation System	Anodised metal alloy, 30 deg angled post, 	One size only	$99.00

stainless steel

ST938	Hoffman II External Fixation System	Anodised metal alloy, straight post, stainless 	One size only	$99.00

steel

ST939	Hoffman II External Fixation System	Anodised metal alloy, aluminium connecting 	8mm x 65-500mm	$52.00

rod

ST940	Hoffman II External Fixation System	Anodised metal alloy, carbon connecting rod	8mm x 65-500mm	$69.00

ST941	Hoffman II External Fixation System	Anodised metal alloy, stainless steel 	8mm x 65-500mm	$52.00

connecting rod

ST942	Hoffman II External Fixation System	Anodised metal alloy, curved aluminium rod 	Small, Medium, Large	$90.00

semi-circular

ST943	Hoffman II External Fixation System	Anodised metal alloy, adjustable connecting rod	Long, short	$765.00

Prostheses List by Category and Sponsor	Page 356 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST944	Hoffman II External Fixation System	Anodised metal alloy, 	One size only	$99.00

dynamization/distraction rod,

compression/distraction rod,

dynamization/distraction rod to rod coupling

ST945	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly 	15mm	$4,780.00

yellow

ST946	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly 	20mm	$4,945.00

blue

ST947	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly 	25mm	$5,110.00

red

ST948	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly 	15mm	$2,485.00

yellow

ST949	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly 	20mm	$2,650.00

blue

ST950	Monotube External Fixation System	Anodized metal alloy, dynamic tube assembly 	25mm	$5,110.00

red

ST951	Monotube External Fixation System	Anodized metal alloy, pin clamp yellow, blue,	15, 20, 25mm	$1,215.00

red

ST952	Monotube External Fixation System	Anodized metal alloy, single pin clamp 	15, 20, 25mm	$1,215.00

yellow, blue, red

ST953	Monotube External Fixation System	Anodized metal alloy, T-Adapter yellow, blue,	15, 20, 25mm	$580.00

red

ST954	Monotube External Fixation System	Anodized metal alloy, tube to tube clamp 	15, 20, 25mm, 15/20mm, 20/25mm	$645.00

yellow, blue, red, yellow/blue, blue/red

ST955	Monotube External Fixation System	Anodized metal alloy, hybrid clamp blue, 	One size only	$1,215.00

hybrid clamp red

ST956	Monotube External Fixation System	Monticelli/Spinelli Ring Frame	One size only	$2,600.00

ST957	Monotube External Fixation System	3/4 ring blue, green and white	147mm, 165mm, 187mm	$455.00

ST958	Monotube External Fixation System	Monticelli/Spinelli Kirschner Wire Holder	One size only	$1,215.00

ST959	Monotube External Fixation System	With sliding clamp	One size only	$1,215.00

ST960	Monotube External Fixation System	With sliding clamp and spacer	One size only	$578.00

ST961	Monotube External Fixation System	Carbon tube assembly yellow 015	150, 200, 250, 300mm	$645.00

ST962	Monotube External Fixation System	Carbon tube yellow 015	150, 200, 250, 300mm	$220.00

ST963	Monotube External Fixation System	Carbon tube blue 015	150, 200, 250, 300mm	$330.00

Prostheses List by Category and Sponsor	Page 357 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST964	Monotube External Fixation System	Carbon tube red 015	150, 200, 250, 300mm	$420.00

ST965	TenXor External Fixation System	Anodized metal alloy, open ring	150, 180, 210, 250mm	$1,105.00

ST966	TenXor External Fixation System	Anodized metal alloy, ring clamp	One size only	$645.00

ST967	TenXor External Fixation System	Anodized metal alloy, wire post, pin post	One size only	$595.00

ST968	TenXor External Fixation System	Anodized metal alloy, ring to monotube triax 	One size only	$1,215.00

tube clamp

ST969	TenXor External Fixation System	Anodized metal alloy, blue, red	20, 25mm	$220.00

ST970	TenXor External Fixation System	Anodized metal alloy, Monticelli Spinelli 	One size only	$330.00

kirschner wire holder

ST971	TenXor External Fixation System	Anodized metal alloy, with sliding clamp	One size only	$250.00

ST972	TenXor External Fixation System	Anodized metal alloy,with sliding clamp and 	One size only	$645.00

spacer

ST983	Stryker Plating System	DuPont Distal Humeral Plate	7,9,11,13 holes	$773.00

Stryker Australia Pty Ltd (2)

SK006	Stryker Trauma Locking Nail System	Titanium - Humeral Nail	Dia 7,8,9mm length 140 - 320mm	$2,195.00

SK007	Hoffmann II External Fixation System	Hoffmann II Compact -	One size only	$2,440.00

Compression/Distraction Rod

SK008	Hoffmann II External Fixation System	Hoffmann II Compression/Distraction Tube	One size only	$2,440.00

SK009	Hoffmann II External Fixation System	Hoffman II Miami Post	One size only	$510.00

SK010	ABGII Cup with Hydroxyapatite	ABGII Cup with Hydroxyapatite Ceramic Insert	Sizing: 28, 32 & 36mm ID, for cup 	$2,558.00

sizes 42 to 66mm OD.

SK013	Trident Acetabular Component System	Elevated Rim Inserts - Crossfire Polyethylene	Fits 50-70mm with 28,32 and 	$1,160.00

36mm ID Options

SK014	Hoffmann II	Hoffmann II Mini- Linking Pivot for 2mm & 	One size only	$186.00

3mm pins

SK015	Hoffmann II	Hoffmann II Mini- Shank Straight Pin Holder -	2, 3 mm	$225.00

for 1.5mm & 2.0mm pins

SK016	Hoffmann II	Hoffmann II Mini- Shank 'T' Offset Pin Holder 	2mm	$305.00

- for 1.5mm & 2.0mm pins

SK017	Hoffmann II	Hoffmann II Mini- 3 Hole Vise	One size only	$210.00

SK018	Hoffmann II	Hoffmann II Mini- Simple Swivel Clamp	One size only	$680.00

SK019	Hoffmann II	Hoffmann II Mini- Insulated Smooth Vise	One size only	$186.00

Prostheses List by Category and Sponsor	Page 358 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK020	Hoffmann II	Hoffmann II Mini- Articulating Coupling	3x3, 2x3	$595.00

SK021	Hoffmann II	Hoffmann II Mini- Adjustable Swivel Clamp	One size only	$1,275.00

SK022	Modular Revision System Fluted Distal Stems	Composition - Titanium Alloy Ti A16 V4 	Stem Lengths 127 & 167mm 	$4,846.00

with Arc Deposited Plasma Spray Coating	straight & bowed. Diameter 11-26mm

SK023	ACL Wedge Interference Screw	Threaded titanium screw for ligament/tendon 	Dia 7 - 12mm, length 20 - 40mm	$255.00

fixation

SK024	Stryker Cross-screw	Threaded titanium screw for ligament/tendon 	8mm x 40-60mm	$455.00

fixation

SK026	Leibinger screws	Profyle titanium hand and small fragment 	Dia 1.2mm, length 14 - 20mm	$85.00

system screws

SK027	Leibinger screws	Profyle titanium hand and small fragment 	Dia 1.9mm, length 8 - 12mm	$70.00

system screws

SK028	Leibinger screws	Profyle titanium hand and small fragment 	Dia 2.3mm, length 26 - 38mm	$62.00

system screws

SK029	Leibinger screws	Profyle titanium hand and small fragment 	Dia 2.5mm, length 8 - 12mm	$65.00

system screws

SK030	Leibinger screws	Profyle titanium hand and small fragment 	Dia 3.0mm, length 8 - 34mm	$99.00

system screws

SK031	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	1.2mm sys XS, T-shape 8 holes	$515.00

SK037	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system M, fixation 3D 6x2 	$435.00

holes

SK038	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system L, compr 10 hole T 	$1,410.00

bar

SK039	Leibinger Titanium Implant system	Profyle hand and small fragment plate system	2.3mm system M, compr 8 holes 	$165.00

straight bar

SK045	Hoffmann II	Hoffmann II Mini- Shank Offset Pin Holder - 	2, 3mm	$247.00

for 1.5mm & 2.0mm pins

SK046	Stryker Wedge Interference Screw	Threaded bioabsorbable screw for 	Dia 7 - 12mm, length 20 - 40mm	$306.00

ligment/tendon fixation

SK047	Stryker Wedge Interference Screw	Threaded biosteon screw for ligment/tendon 	Dia 7 - 12mm, length 20 - 40mm	$342.00	$565.50

fixation

SK048	Stryker Cuff Anchor	Titanium anchor kit for soft tissue reattachment	Length 5-8mm	$357.00

Prostheses List by Category and Sponsor	Page 359 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK049	Stryker Plating System Screws	Cancellous bone screws, full and partial thread	Dia 4.0mm, 10-20mm	$48.00

SK050	Stryker Plating System Screws	Cancellous bone screws, full and partial thread	Dia 4.0mm, 22-30mm	$48.00

SK051	Stryker Plating System Screws	Cancellous bone screws, full and partial thread	Dia 4.0mm, 32-50mm	$35.00

SK052	Stryker Plating System Screws	Cancellous bone screws, full and partial thread	Dia 4.0mm, 55-100mm	$48.00

SK053	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 55-95mm	$305.00

SK054	Stryker Plating System Screws - Cancellous	6.5mm Diameter, full and partial thread	Length 100-150mm	$305.00

SK055	Matta Pelvic System	Straight acetabular plate	10-14 Holes	$368.00

SK056	Stryker Modular Revision Hip System	Milled Proximal Body Titanium Plasma 	Dia 19-25mm with 2 mill Depths; 	$6,240.00

27-29mm with 3 Mill Depths

SK057	Matta Pelvic System	Straight acetabular plate	15-20 Holes	$160.00

SK058	Stryker Modular Revision Hip System	Porous Distal Stems Titanium Plasma Spray	Stem Lengths 127 & 167mm 	$4,846.00

straight & bowed. Diameter 11-26mm

SK059	Stryker Modular Revision Hip System	Titanium Alloy Bowed Conical Distal Stems	Restoration Modular bowed conical 	$5,928.00

distal stem 195mm, 235mm

SK060	Stryker Modular Revision Hip System	Broached Proximal Body Titanium Plasma 	1-8	$6,240.00

Spray

SK061	Stryker Modular Hip System	Cone Proximal Body Titanium Plasma Spray	Dia 19-31mm, Heights 	$6,240.00

+0,+10,+20,+30

SK062	Stryker Modular Revision Hip System	Calcar Proximal Body Titanium Plasma Spray	Diameter 19-29mm, 3 Heights each	$6,240.00

SK064	Matta Pelvic System	Curved and Straight plates	2 - 30 Holes	$800.00

SK066	Matta Pelvic System	Symphysis Publis Plates Radius 75	4-6 Holes	$800.00

SK067	Matta Pelvic System	Curved Pelvic Plate Radius 108	4-9 Holes	$53.00

SK069	Matta Pelvic System	Curved Pelvic Plate Radius 108	10-14 Holes	$32.00

SK070	Matta Pelvic System	Curved Pelvic Plate Radius 108	15-20 Holes	$800.00

SK071	Matta Pelvic System	Curved Pelvic Plate Radius 88	4-9 Holes	$61.00

SK073	Matta Pelvic System	Curved Pelvic Plate Radius 88	10-14 Holes	$800.00

SK074	Matta Pelvic System	Curved Pelvic Plate Radius 88	15-20 Holes	$800.00

Prostheses List by Category and Sponsor	Page 360 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK075	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	3-9 Holes	$780.00

SK077	Stryker Plating System Basic Fragment Set	4.5mm Reconstruction Plate	10-16 Holes	$780.00

SK081	Stryker Plating System Small Fragment Set	Waisted compression plate	2-10 Holes	$220.00

SK082	Stryker Plating System Small Fragment Set	Waisted compression plate	11-20 Holes	$220.00

SK083	Stryker Plating System Small Fragment Set	Standard compression plate	2-9 Holes	$166.00

SK084	Stryker Plating System Small Fragment Set	Standard compression plate	10-20 Holes	$220.00

SK086	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	22-38mm	$25.00

SK088	Stryker Plating System Basic Fragment Set	Waisted Compression Plate Broad	15-26 Holes	$325.00

SK091	Duracon Total Knee System	Tibial Insert CS-Lipped - Duration 	XS,S,M,L,XL Thickness 	$1,200.00

Polyethylene	9,11,13,16,19,22,25mm

SK092	ABG Cup with Hydroxyapatite	ABGII Acetabular HA Shell with 32mm ID 	52,54mm OD	$5,158.00

ceramic insert

SK094	Stryker Plating System Small Fragment Set	Calcaneal Plate	70-80mm	$605.00

SK095	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	40-64mm	$25.00

SK096	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	65-95mm	$25.00

SK097	Stryker Plating System Screws	Cortical bone screws 4.5mm diameter	100-150mm	$25.00

SK098	Stryker Plating System Small Fragment Set	Stainless steel, reconstruction plate	10-22 Holes	$551.00

SK099	Stryker Plating System Small Fragment Set	One Third Tubular Plate with Collar	9-14 Holes	$175.00

SK100	Stryker Plating System Small Fragment Set	T Plates, standard	40-57mm Length	$155.00

SK101	Stryker Plating System Small Fragment Set	T Plates, standard	66-100mm Length	$155.00

SK102	Stryker Plating System Small Fragment Set	Cloverleaf Plate	6-10 Holes	$330.00

SK103	Stryker Plating System Screws	Cortical bone screws	Dia 2.7mm, screw length 22-38mm	$25.00

SK104	Stryker Plating System Screws	Cortical bone screws	Dia 2.7mm, screw length 40-60mm	$25.00

SK105	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 10-20mm	$15.00

SK106	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 22-38mm	$19.00

SK107	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 40-60mm	$25.00

SK108	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 65-95mm	$25.00

SK109	Stryker Plating System Screws	Cortical bone screws	Dia 3.5mm, screw length 100-120mm	$25.00

SK110	Stryker Plating System Basic Fragment Set	Waisted compression plate narrow	2-9 Holes	$152.00

Prostheses List by Category and Sponsor	Page 361 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK111	Stryker Plating System Basic Fragment Set	Waisted compression plate narrow	10-22 Holes	$152.00

SK117	Tenxor External Fixation System - Kirschner 	Non-Olive tipped	1.5mm & 2.0mm	$125.00	To be funded where any or all K-

Wires	wires used in a procedure are used as

an implant.

SK118	Tenxor External Fixation System - Kirschner 	Olive tipped	1.5mm & 2.0mm	$125.00	To be funded where any or all K-

Wires	wires used in a procedure are used as

an implant.

SK128	Trident Acetabular Component System	Trident Hemispherical Acetabular Shells. 	Shell sizes 42mm - 74mm OD	$2,300.00

Made of Titanium (Ti-6A1-4V) with an Arc

Deposit Surface

SK154	Stryker Cross-Screw	HA/PLLA screw for ligament/tendon fixation	Dia 6mm: Length 40-60mm	$350.00	$572.00

SK155	Wedge Interference screw	Threaded PLLA screw with cross pin for 	Dia 7-12mm, Length 20-40mm; pin	$163.00

ligament/tendon fixation	 length standard

SK156	Howmedica Modular Resection System	GMRS Proximal Tibial Component, Cast 	Small, Standard	$8,034.00

Chrome Cobalt

SK157	Howmedica Modular Resection System	GMRS Distal Femoral Component, Cast 	Small Left 65mm, Small Left 	$8,008.00

Chrome Cobalt	75mm, Small Left 85mm, Small

Left 95mm, Small Right 65mm,

Small Right 75mm, Small Right

85mm, Small Right 95mm,

Standard Left, Standard Right

SK158	Howmedica Modular Resection System	GMRS Proximal Femoral Component, Cast 	Standard, Trochanteric, Smooth	$8,466.00

Chrome Cobalt

SK159	Howmedica Modular Resection System	GMRS (HMRS+) Curved Anchorage Stems, 	12, 13, 14, 15, 16, 17, 19mm	$5,034.00

Cobalt Chrome

SK160	Howmedica Modular Resection System	GMRS (HMRS+) Straight Anchorage Stems, 	11, 12, 13, 14, 15mm	$4,841.00

Cobalt Chrome

SK161	Howmedica Modular Resection System	GMRS Extension Piece, Titanium/Cobalt 	30, 40, 50, 60, 70, 80, 100, 120, 	$4,576.00

Chrome	140, 160, 180, 200, 220mm

SK162	Howmedica Modular Resection System	GMRS Connection Piece, Titanium/Cobalt 	Left 80, 90mm; Right 80, 90mm	$4,498.00

Chrome

SK163	Howmedica Modular Resection System	GMRS Adaptors for Restoration (inc locking 	Standard, +10mm, +20mm, 30mm	$3,625.00

bolt), Titanium/Cobalt Chrome

SK165	Howmedica Modular Resection System	GMRS Press fit stems straight	11, 12, 13, 14, 15, 16, 17, 18, 19mm	$4,020.00

Prostheses List by Category and Sponsor	Page 362 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK166	Howmedica Modular Resection System	GMRS Press fit stems long bowed 200mm	11, 12, 13, 14, 15, 16, 17, 18, 19mm	$5,034.00

SK167	Howmedica Modular Resection System	GMRS Press fit stems short bowed 150mm	11, 12, 13, 14, 15, 16, 17, 18, 19mm	$4,429.00

SK168	Howmedica Modular Resection System	GMRS Press fit stems straight fluted	8, 9, 10, 11, 12, 13, 14, 15, 16, 17,	$4,498.00

18, 19mm

SK172	Howmedica Modular Resection System	GMRS Adaptors Male/Female Taper, 	Male Taper; Female Taper	$1,965.00

Titanium/Forged Cobalt Chrome

SK176	Stryker Cuff Anchor	Bio Zip PLLA anchor for soft tissue 	Dia 3 - 8mm	$397.80

ligament/tendon fixation

SK177	Stryker Cuff Anchor	Glenoid Titanium anchor kit for soft tissue 	Dia 2 - 3mm	$193.80

reattachment

SK181	Simplex Enhancement System	Simplex Express PrePack	2 dose Simplex Antibiotic with 	$184.00

Mixevac

SK183	Leibinger Intraoral Distractor (Multiguide II)	Manufactured from stainless steel, allows 	Frame 20mm - 35mm, 2.0mm 	$4,375.00

gradual, independent, and simultaneous 	diameter, 50 - 90 mm length Auto -

distraction of the mandible in 3 planes.	Pilot Pins

SK184	VITOSS - Synthetic cancellous bone void 	Beta-tricalcium phosphate	1.2cc dowel	$588.00

filler

SK185	VITOSS - Synthetic cancellous bone void 	Beta-tricalcium phosphate	15cc morsels	$1,620.00

filler

SK186	VITOSS - Synthetic cancellous bone void 	Beta-tricalcium phosphate	20cc dowel	$1,620.00

filler

SK187	VITOSS - Synthetic cancellous bone void 	Beta-tricalcium phosphate	30cc morsels and 30cc dowels	$2,670.00

filler

SK188	VITOSS - Synthetic cancellous bone void 	Beta-tricalcium phosphate	10cc morsels and 10cc dowels	$1,250.00

filler

SK189	CORTOSS - Synthetic cortical bone void filler	-	10cc CORTOSS kit	$1,535.00

SK191	VITOSS - Synthetic Cancellous bone void 	Beta-tricalcium phosphate	5cc morsels	$588.00

filler

SK196	Exeter Hip System - ETS (endoprosthesis 	Orthinox Stainless Steel Endoprosthesis	40mm Offset body with monoblock 	$1,923.00

trauma stem)	head sizes 38mm, 40mm, 41mm,

42mm, 43mm, 44mm, 45mm,

46mm, 47mm, 48mm, 49mm,

50mm, 52mm, 54mm, 56mm

Prostheses List by Category and Sponsor	Page 363 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK199	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Nail Left/Right	$2,157.85

SK201	Stryker Trauma Locking Nail System	Proximal Humeral Nail	Proximal Humerous Washer 	$51.50

round/square

SK202	Stryker Trauma Locking Nail System	SCN	Diameter 11m - 14mm, Length 	$990.00

170mm - 240mm

SK203	Stryker Trauma Locking Nail System	SCN	Condyle Screws 5mm x (40mm-	$324.45

120mm)

SK204	Stryker Trauma Locking Nail System	SCN	Nut for Condyle Screws 5mm	$231.75

SK206	Hoffmann II External Fixation System	Hoffmann II Micro	Rod to rod coupling 3/3	$645.00

SK207	Hoffmann II External Fixation System	Hoffmann II Micro	Rod to rod coupling 5/3	$645.00

SK208	Hoffmann II External Fixation System	Hoffmann II Micro	Pin to rod coupling	$645.00

SK209	Hoffmann II External Fixation System	Hoffmann II Micro	Multipin clamp	$645.00

SK210	Hoffmann II External Fixation System	Hoffmann II Micro	90 degree multipin clamp	$645.00

SK211	Hoffmann II External Fixation System	Hoffmann II Micro	Carbon rods 3mm (30-120mm)	$68.00

SK212	Hoffmann II External Fixation System	Hoffmann II Micro	Stainless steel rods 3mm x (30-	$52.00

120mm)

SK213	Hoffmann II External Fixation System	Hoffmann II Micro	K-wire	$127.00

SK214	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Nail Left/Right	$1,200.00

SK215	Stryker Trauma Locking Nail System	Reconstruction Nail	Recon Lag Screw	$260.00

SK216	Stryker Trauma Locking Nail System	Reconstruction Nail	Blocking Screw	$95.00

SK219	Stryker Plating System	Periarticular Plates	Femoral Plate 4.5/6.5mm	$1,004.00

SK220	Stryker Plating System	Periarticular Plates	Tibial Plate 4.5/6.5mm	$1,004.00

SK221	Stryker Plating System	Periarticular Plates	Tibial Plate 3.5/4.0mm	$1,004.00

SK228	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook 50-140mm	$195.00

SK229	Omega Plus Compression Hip Screw System	Cephalic Implants	Hansson Twin Hook Compression 	$63.00

Screw 25mm

SK230	Hansson Pin	Cephalic Implants	Hansson Pin 70-140mm	$335.00

SK243	Gamma LN	Lag Screw - Titanium	10.5mmx70mm - 10.5mmx130mm	$465.00

SK244	Gamma LN	Long - Titanium	120, 124, 130 Deg; Diameter 10-	$1,350.00

12mm; Length 280-420mm

SK245	Gamma LN	Locking Screw - Titanium	5x25mm - 5x95mm	$155.00

Prostheses List by Category and Sponsor	Page 364 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK246	Gamma LN	Standard - Titanium	120, 125, 130 Deg; Diameter 10-	$995.00

12mm; Length 170-200mm

SK247	Gamma LN	Set Screw - Titanium	8x17.5mm	$95.00

SK248	Gamma LN	Proximal/Extension Plug - Titanium	0mm, +5mm, +10mm	$95.00

SK256	TwinFix Cannulated Compression Screw 	Diameter 3.2mm, lengths 14-34mm	$440.00

System

SK304	Gamma LN	Anti-rotation screw for Lag Screw - Titanium	+1, +3, +5mm	$187.20

SK307	Spiral Radius 90D	Rod to Rod Connector - Titanium	One size only	$936.00

SK310	Spiral Radius 90D	Screw Offset, Clip Offset - Titanium	Long & Short	$936.00

SK314	Avon Patello Femoral Prosthesis	Polyethylene patella button	Small, Medium, Large	$683.00

SK315	Exeter Hip System	Exeter Distal Centraliser -PMMA	One Size Only	$142.80

SK316	Secure Strand Cable System	Bone Reapproximation Cable	Diameter 1.0mm	$260.00

SK318	SXL Trident Acetabular Inserts	Sequentially cross linked polyethylene	Inner diameters: 22mm, 26mm, 	$1,560.00

28mm 32mm, 36mm, 38 - 64mm.

For outer diameter shells 40mm -

80mm.

SK320	Exeter Cement in Cement Revision Stem	Stainless Steel, V40 trunnion, 125mm Length,	44mm Offset, 125mm Length	$1,750.00	$4,451.00	This is only used in revisions, stem

44mm Offset	is smaller therfore cement removal is

not necessary. Same price as the

Exeter Stem - HPCAG meeting

30.03.07

SK323	Triathlon Knee System	Patella Component - all poly	Symmetric: 27mm x 8mm, 29mm x	$520.00

8mm, 31mm x 9mm, 33mm x

9mm, 36mm x 10mm, 39mm x

11mm; Assymetric: 29mm x 9mm,

32mm x 10mm, 35mm x 10mm,

38mm x 11mm, 40mm x 11mm

SK324	Triathlon Femoral Component - Cemented	Cruciate Retaining	Sizes 1 to 8	$3,640.00

SK325	Triathlon Femoral Component - Cementless	Cruciate Retaining	Sizes 1 to 8	$4,264.00

SK326	Triathlon Knee System	HA coated tibial baseplate	Sizes 1 to 8	$2,672.00

SK327	Triathlon Knee System	Cemented tibial baseplate cobalt chrome	Sizes 1 to 8	$2,182.00

SK328	Triathlon Tibial Insert	Cruciate Retaining	Sizes 1 to 8 	$1,430.00

(9/11/13/16/19/22/25mm thickness)

SK329	Unix unicompartmental knee system	HA tibial tray, unicompartmental	Sizes 1 to 4	$1,816.00

Prostheses List by Category and Sponsor	Page 365 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK330	Modular Replacement System	MRS femoral stems with female taper	11 x 127mm, 13 x 127mm, 15 x 	$6,760.00

127mm, 17 x 127mm

SK331	Modular Rotating Hinge Knee System	MRH HDP ASSEMBLY PACK, consisting of	One size only	$3,172.00

1 x polyethylene tibial sleeve, 1 x

polyethylene bumper insert and 2 x

polyethylene femoral bushing components

SK332	Scorpio NRG Cemented Femur	Cruciate Retaining	Sizes 3,4,5,6,7,9,11,13	$3,640.00

SK333	NRG Knee System	Tibial inserts, cruciate retaining and posterior 	Sizes 3,4,5,6,7,9,11,13, x 	$1,430.00

stabilised	(8/10/12/15/18/21/24mm thickness)

SK334	Scorpio NRG Cementless Femur	Cruciate Retaining	Sizes 3,4,5,6,7,9,11,13	$4,264.00

SK337	Stryker Trauma Locking Nail System	Arthrodesis Nail - Knee	Arthrodesis Nail Left/Right; 	$5,182.00

11.5mm and 13mm

SK364	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Tibia Kit	$4,895.00	Temporary approval, pending review

of product group

SK365	Hoffman II External Fixation System	Hoffman II Sterile Pre-packs	Sterile Ankle Kit	$4,700.00	Temporary approval, pending review

of product group

SK366	Universal Distal Radius System	Universal SMARTLook Locking Plates	Standard, Narrow and Wide in Long	$1,450.00

and short options

SK368	Stryker Plating System	SPS Locking Plate System	Distal Medial and Lateral tibia  3 	$1,450.00

Holes to 10 Holes left and right

SK369	Universal Distal Radius System	Leibinger Self-Tapping, Cross-Pin, Titanium 	2.0mmx16mm to 2.0mmx26mm; 	$125.00

Locking Screws/Pegs	2.3mmx10mm to 2.3mmx38mm in

2mm increments; 2.7mmx10mm to

2.7mmx26mm in 2mm increments

SK373	Hoffman II External Fixation system	Hoffman II MRI	Pelvic Clamp	$1,135.00	Temporary approval, pending review

of product group

SK374	Hoffman II External Fixation System	Hoffman II MRI	Posts 8mm and 5mm	$111.00	Temporary Approval, pending review

of product grouping

SK375	Hoffman II External Fixation System	Hoffman II MRI Coupling	Pin to Rod, Rod to Rod, Tube to 	$770.00	Temporary approval, pending review

Rod, Pin Clamp Assembly	of product group

SK377	Stryker Plating System	SPS Locking Plate System	Distal Femur - 4 holes to 16 holes, 	$1,500.00

Left and Right

SK378	Hoffman II External Fixation System	Hoffman II Sterile Pre-Packs	Sterile Pelvic Kit	$7,680.00	Temporary approval, pending review

of product group

Prostheses List by Category and Sponsor	Page 366 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK379	Stryker Plating System	SPS Locking Plate System	Proximal Humerus 3 Holes to 10 	$1,400.00

Holes Left and Right

SK381	Stryker Plating System	Numelock II Locking Plate System	Distal Humerus, Lateral and Medial,	$1,400.00

1 hole to 5 holes

SK383	Stryker Plating System	SPS Locking Plate System	Proximal Tibia, Lateral and Medial,	$1,450.00

4 hole to 12 holes, left and right

SK386	Triathlon Total Knee System	Uncemented, porous beaded femoral 	Sizes 1 to 8	$3,952.00

component, posterior stabilized, left and right

cobalt chrome

SK387	Triathlon Total Knee System	Uncemented, porous beaded femoral 	1 to 8	$3,952.00

component, cruciate retaining, left and right,

cobalt chrome

SK388	Triathlon Total Knee System	Uncemented, porous beaded tibial baseplate, 	Sizes 1 to 8	$2,652.00

primary, cobalt chrome

SK390	Hoffman II External Fixation System	Hoffman II MRI	Compression/Dystraction Tube, 	$770.00	Temporary approval, pending review

Dynamisation Tube	of product group

SK391	Leibinger Universal Distal radius System	Universal Distal Radius SMARTLock 	Radial Column - Long and Short; 	$1,350.00

Column Locking Plates	Ulna Column - Long and Short, Left

and Right

SK392	Universal Distal Radius System	Self Tapping cross Head Titanium Bone Screws	Sizes range from: 2.3mm x 10mm 	$125.00

to 2.3mm x 38mm in 2 mm

increments (Full Thread); 2.7mm x

10mm to 2.7mm x 26mm in 2mm

increments (Full and partial thread)

SK393	Hoffman II External Fixation System	Hoffman II MRI	8mm Connecting rod (100mm - 	$155.00	Temporary approval, pending review

500mm), 5mm Connecting rod 	of product group

(100mm - 500mm), Semi Circular

Curve Rod

SK395	Stryker Plating System	SPS Locking Plate System	Locking Screws:  3.0mm - 6.5mm 	$185.00

diameter

SK396	Hoffman II External Fixation System	Hoffman II Compact Sterile Pre-Packs	Sterile Wrist Kit	$4,855.00	Temporary approval, pending review

of product group

SK398	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	100mm - 200mm	$2,550.00

SK399	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate	110mm - 210mm	$4,000.00

Prostheses List by Category and Sponsor	Page 367 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK400	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Stainless 	Small, Medium and Large	$1,400.00

Steel Cables

SK401	Trochanteric Grip	Dall-Miles Trochanteric Grip with 2 Chrome 	Small, Medium and Large	$1,750.00

Cobalt Cables

SK402	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 	100mm - 200mm	$3,652.00

Cables

SK403	Trochanteric Grip	Dall-Miles Trochanteric Grip Plate, with 2 	110mm - 210mm	$5,102.00

Cables

SK404	Alumina Femoral Head 38mm-60mm	Alumina Femoral Head	38mm-60mm	$2,055.00

SK405	LFIT Femoral Heads	Femoral head with low friction ion treatment	36mm-72mm	$2,436.00

SK410	Scorpio X3 Polyethylene	Tibial insert, totally stabilised, fixed bearing, 	3 - 11 mm 7F/5T, 5F/7T, 11F/9T, 	$1,770.00

sequentially crossed linked polyethylene	9F/11T

10mm-24mm

SK411	Scorpio X3 Polyethylene	Medialised dome patella, sequentially crossed 	5 - 11 mm	$590.00

linked polyethylene

SK412	Scorpio X3 Polyethylene	Concentric dome patella, sequentially crossed 	5 - 11 mm	$590.00

linked polyethylene

SK413	Scorpio X3 Polyethylene	Universal dome patella, sequentially crossed 	3 - 11 mm	$590.00

linked polyethylene

SK414	Scorpio X3 Polyethylene	Recessed patella, sequentially crossed linked 	26mm, 28mm, 30mm, 32mm X 	$590.00

polyethylene	10mm

SK415	Scorpio X3 Polyethylene	Inset patella, sequentially crossed linked 	$590.00

polyethylene

SK418	Triathlon X 3 Polyethylene	Symmetric patella, sequentially crossed linked 	27mm X 8mm, 29mm X 8mm, 	$590.00

polyethylene	31mm X 9mm, 33mm X 9mm,

36mm X 10mm, 39mm X 11mm

SK419	Triathlon X 3 Polyethylene	Asymmetric patella, sequentially crossed 	29 x33 x 9mm, 32 x 36 x 10mm, 	$590.00

linked polyethylene	35 x 39 x 10mm, 38 x 42x 11mm,

40 x 44 x 11mm

Stryker Australia Pty Ltd (3)

SR002	Triathlon Tibial Insert	Posterior Stabilised	Sizes 1 to 8 	$1,430.00

(9/11/13/16/19/22/25mm thickness)

SR003	Scorpio NRG Cemented Femur	Posterior Stabilised	Sizes 3,4,5,6,7,9,11,13	$3,640.00

SR004	Scorpio NRG Cementless Femur	Posterior Stabilised	Sizes 3,4,5,6,7,9,11,13	$4,272.00

Prostheses List by Category and Sponsor	Page 368 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SR005	Scorpio Cemented Femur	Posterior Stabilised	3, 5, 7, 9, 11, 13	$3,400.00

SR006	Scorpio Femoral Component - cementless with	Posterior Stabilised	3,5,7,9,11,13	$4,272.00

PA

SR007	Scorpio Femoral Component - Cementless	Posterior Stabilised	3,5,7,9,11,13	$3,848.00

SR008	Scorpio Tibial Insert	Posterior Stabilised	8-18mm in 2mm increments	$1,200.00

SR009	Triathlon Femoral Component - Cemented	Posterior Stabilised	Sizes 1 to 8	$3,640.00

SR011	Triathlon Knee System	HA Coated femoral component left and right 	Sizes 1 to 8	$4,272.00

cobalt chrome

SR012	NRG Knee System	Tibial inserts, cruciate retaining and posterior 	Sizes 3,4,5,6,7,9,11,13, x 	$1,430.00

stabilised	(8/10/12/15/18/21/24mm thickness)

SR013	Scorpio Tibial Insert	Mobile Bearing	-24mm for all tibia sizes	$1,300.00

SR017	Omnifit hip system	OMNIFIT cemented femoral component - 	Stem sizes 4-11	$1,850.00

normalised cobalt chrome

SR018	Omnifit hip system	OMNIFIT 'C' stem - cemented  cobalt chrome,	Stem sizes 4-11	$1,850.00

collared and collarless, 132 degree offset

SR019	Osteonics Knee System	Femoral component cemented cobalt chrome	3, 5, 7, 9, 11, 13	$3,400.00

SR020	Osteonics Knee System	Tibial insert primary polyethylene	3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 	$1,200.00

18, 21,24mm

SR023	Stryker Revision Femoral Head, Biolox Forte 	With pre assembled titanium sleeve	28, 32mm	$2,054.00

Alumina

SR024	Triathlon Femoral Component	Posterior Stabilised	Size 1 - 8	$4,272.00

SR025	C-Taper CoCr HeadStryker CoCr Femoral 	36mm	$988.00

Heads, LFIT treatment

SR026	Stryker CoCr Femoral Head	LFIT Treatment	22-32mm	$1,015.00

SR027	Accolade HFx	CoCr Fracture Stem	Stem sizes 1-8, 127 degree neck	$4,108.00

SR028	Delta Ceramic Heads	Modular Femoral Head - Delta Ceramic 	<32mm	$2,054.00

material

SR029	Modular Femoral Head - Delta Ceramic 	Modular Femoral Head - Delta Ceramic 	36mm - 50mm	$2,436.00

material	material

SR030	Triathlon Mobile Bearing Knee System	Mobile bearing knee, cemented, baseplate	1 to 8	$2,800.00

SR031	Triathlon Mobile Mearing Knee System	Mobile bearing knee, cruciate retaining, tibial 	1 to 8, 9mm to 19mm	$1,350.00

insert

Prostheses List by Category and Sponsor	Page 369 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SR032	Triathlon Mobile Bearing Knee System	Mobile bearing knee, posterior stabilised, 	1 to 8, 9mm to 22mm	$1,350.00

tibial insert

SR033	Triathlon Mobile Bearing Knee System	Mobile bearing knee, cruciate supplementing 	1 to 8, 9mm to 22mm	$1,350.00

or constrained, tibial insert

SR034	Triathlon Revision Knee System	Revision, cemented, stemmed baseplate	1 to 8	$3,500.00

SR035	Triathlon Revision Knee System	Revision, cemented, tibial stems	9x50mm, 9x100mm, 9x150mm, 	$1,600.00

12x50mm, 12x100mm, 12x150mm,

15x50mm, 15x100mm, 15x150mm

SR036	Triathlon Revision Knee System	Revision, cemented, side specific, half tibial 	1 to 8, 5mm and 10mm	$1,300.00

augments

SR037	Triathlon Primary Knee System PS Femoral 	Modular femoral distal fixation peg	one size	$450.00

Pegs

SR040	Universal Quick Flap System	Sterile pack containing 3 x Titanium 2 hole 	$552.00

plates, 6 x Viper self drilling 1.5 x 4mm screws

SR041	Universal Quik Flap System	Sterile pack containing, 3 x Titanium 2 hole 	$552.00

Plates, 6 x self-tapping screws 1.5 x 4mm

SR043	Stryker Orthopaedic Traditional Resurfacing 	Resurfacing Head	38mm - 60mm	$3,340.00

Hip System

SR044	Stryker Orthopaedic Traditional Resurfacing 	Resurfacing Cup	44mm - 68mm	$6,000.00

HipSystem

SR045	Stryker Modular Revision Hip System	Modular Long Bowed Titanium Plasma HA 	Length 217mm, 267mm and 	$6,500.00

Stem	317mm. Diameter 11mm - 26mm

SR046	Stryker Modular Revision Hip System	Modular Long Bowed Titanium Polished 	Length 217mm, 267mm and 	$6,500.00

Fluted Stem	317mm. Diamter 11mm-26mm

SR047	Calstrux	Porous tri-calcium phosphate granules and 	5cc	$1,578.00

carboxymethylcellulose, sodium (CMC) putty

additive

SR048	Calstrux	Porous tri-calcium phosphategranules and 	10cc	$1,988.00

carboxymethylcellulose, sodium (CMC) putty

additive

SR049	Calstrux	Porous tri-calcium phosphate granules and 	15cc	$2,255.00

carboxymethylcellulose, sodiu, (CMC) putty

additive

Prostheses List by Category and Sponsor	Page 370 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SR051	Stryker Orthopaedic Traditional Resurfacing 	Modular Femoral Head	38mm - 60mm	$2,300.00

Hip System - Modular Head

SR052	Active Uni Compartmental Knee	Uni compartmental knee resurfacing prostheses,	All sizes for Femoral Component	$2,370.00

consisting of a Femoral component

manufactured from Chrome Cobalt

SR053	Active Uni Compartmental Knee	Uni compartmental Knee resurfacing 	All sizes for Tibial Component	$1,430.00

prostheses, consisting of a Femoral component

manufactured from Chrome Cobalt

Surgical House

SU006	Bold Compression Screw	Cannulated titanium	3mm diam 10-34mm length	$286.00

SU007	ICOS Screw: Ideal Compression Screw	Cannulated titanium	4mm diam 26-60mm length, 	$412.00

6.5mm diam 40-90mm length

SU008	Spin Screw: Snap Off Screw	Titanium	Diameter 2mm, Length 11-14mm; 	$286.00

Diameter  2.7mm,  Various

Lengths; Diameter 3.0mm, Various

Lengths

SU009	Kalix 	Flat foot implant titanium/UHMWP	9 - 17mm diameter	$1,165.00

SU010	K-Wire (Kirschner)	Stainless steel	70mm, 100mm, 200mm length	$40.00	To be funded where any or all K-

wires used in a procedure are used as

an implant.

SU011	Tac-Pin (Threaded)	Compression pin-titanium	1.7mm diam 15-25mm length	$225.00

SU012	Solustaple Standard Staple	Stainless steel 90 deg & 26 degree	8 & 10mm length	$235.00

SU013	Uni-Clip Compression Staple	Stainless steel	Width 11mm - 20mm, Length 	$750.00

13mm - 20mm; Notched - Width

11mm - 20mm, Length 13mm -

20mm;

SU048	The Bone Tie	Stainless steel wire & tie	One size only	$229.00

SU055	Gateshead rod (Arthrotomy set) -pack of 3	Cartilage repair-carbon fibre implant	3 x 12.5mm	$830.00

SU056	Gateshead rod (Arthrotomy set) -pack of 5	Cartilage repair-carbon fibre implant	3 x 12.5mm	$1,045.00

SU059	ABC Prosthetic Ligament	Cruciate prosthesis carbon fibre/polyester, 	12.5cm-18.5cm; ABC Carbon 	$3,600.00

ABC Carbon/Polyester Medial/Lateral 	Polyester & ABC

Collateral Ligament, ABC Polyester/ Polyester	Polyester/Polyester - One size only

Medial/Lateral Collateral Ligament

SU062	Surgicraft	Fixation bollard	One size only	$475.00

Prostheses List by Category and Sponsor	Page 371 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU073	Olerud PF Blocks	Stainless Steel, Threaded or Non-threaded, 0, 	To suit 7mm Olerud PF Rods	$1,106.00

10, 13mm offset

SU075	Olerud Pedicle Screw	Stainless Steel	Diameter 5, 6, 7mm Length 45 - 	$163.00

80mm

SU081	Bone screw	Hook/screw & rod spinal system component	Diam 4,5,6mm 55-70mm	$162.00

SU113	Hintegra Total Ankle Prosthesis	Tibial implant	Right and left, sizes 1 - 6	$2,000.00

SU114	Hintegra Total Ankle Prosthesis	Talar implant	Right and left, sizes 1 - 5	$2,300.00

SU115	Hintegra Total Ankle Prosthesis	Sliding insert	Sizes 1 - 5, thickness 5 - 9mm	$622.00

SU116	Hintegra Total Ankle Prosthesis	Cortical fixation screw, Composition - 	Length 12 - 42mm	$100.00

Stainless Steel

SU129	Reflexion 1st MPJ Implant System	Reflexion metatarsal stems, 3 part 1st MPJ 	Small, medium, large	$991.00

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SU130	Reflexion 1st MPJ Implant System	Reflexion metatarsal heads, 3 part 1st MPJ 	Standard, long, extra-long	$560.00

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SU131	Reflexion 1st MPJ Implant System	ReflexionPhalangeal Bases, 3 part 1st MPJ 	Small, medium, large	$1,000.00

reconstruction system, 2 part composition -

titanium/cobalt chrome, 1 part composition -

titanium/UHMWPE,

SU169	Hallu-Fix Plates	Composition - titanium, Hallu-C Plate: left 	Hallu-C Plate left and right 	$654.00

and right, Hallu-S Plate: left and right	40,45,50mm; Hallu-S Plate right

50,55mm, left 60mm

SU174	SEM Rotator Cuff Tendon and Prosthesis for 	Polyester	1, 2, 3, 4	$3,550.00

Tenoplasty

SU176	MBCP Wedge	Composition - 60% hydroxyapatite / 40% 	MBCP Wedge - 6 degrees to 14 	$1,430.00

Ca3(PO4)2 To be used in combination with 	degrees

Surfix Opening Wedge HTO Plates and

screws/lock screws

SU177	Surfix Reinforced Bendable Osteosynthesis 	Composition - 316L Stainless Steel.  To be 	2 holes, 4 holes/77mm, 4 	$810.00

Plates	used only with Surfix Screws/lock screws	holes/112mm

SU178	Surfix Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be 	2-4 hole plates	$740.00

used only with surfix screws/lock screws.

Prostheses List by Category and Sponsor	Page 372 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU179	Surfix Bendable Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be 	5 - 7 hole plates	$975.00

used only with Surfix screws/lock screws

SU180	Surfix Distal Humeral Plates	Composition - 316L Stainless Steel.  To be 	Left and right	$890.00

used only with Surfix screws/lock screws

SU181	Surfix Femoral Osteosynthesis Plates	Composition - 316L Stainless Steel.  To be 	8/9/10 hole, left and right	$1,400.00

used only with Surfix screws/lock screws

SU182	Surfix Distal Femoral Varus Osteotomy Plate	Composition - 316L Stainless Steel. To be 	One size only	$1,150.00

used only with surfix screws/lock screws

SU183	Surfix Femoral Varus and De-rotation 	Composition - 316L Stainless Steel.  To be 	Surfix Femoral Varus and De-	$962.00

Osteotomy Plates	used only with Surfix screws/lock screws	rotation Osteotomy Plates - 3 holes,

Surfix Femoral Varus and De-

rotation Osteotomy Plates - 4 holes,

Surfix Reinforced Femoral Varus

and De-rotation Osteotomy Plates -

left and right

SU184	Surfix Proximal Humeral Plate	Composition - 316L Stainless Steel. To be 	'6 - 8 holes'	$948.00

used only with Surfix screws/lock screws

SU185	Surfix HTO Plates	Composition - 316L Stainless Steel. To be 	Opening wedge HTO plates, left and	$900.00

used only with Surfix screws/lock screws.	 right. Closing wedge HTO plates,

left and right. Reinforced closing

wedge HTO plates, left and right

SU186	Surfix Lock Screws	For use with Surfix bone screws and plates	One size only	$114.00

SU187	Surfix Screws/Lock Screws	Screws - Cancellous, Cancellous cannulated, 	Cancellous/Cancellous cannulated - 	$180.00

cortical, cortical cannulated plus Lock screws	Diameter 6.5mm, Length 20mm -

100mm + Lock Screw, Cortical -

Diameter 5.0mm, Length 25mm -

45mm + Lock Screw, Cortical -

Diameter 4.5mm, Length 14mm -

65mm + Lock Screw, Cortical -

Diameter 3.5mm, Length 14mm -

32mm + Lock Screw

SU188	Hintegra Total Ankle Prosthesis	Talar Implant - Flat talar resection	Left - Size 1-5, Right - Size 1-5	$3,193.00

SU191	Hintegra Total Ankle Prosthesis	Tibial Implant	Right & Left, Sizes 1 - 6, Thickness	$2,700.00

8mm or 12mm

SU193	Basal Osteotomy Plate	Titanium	5 Deg, Left and Right, 10Deg, Left 	$460.00

and Right

Prostheses List by Category and Sponsor	Page 373 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SU194	Calcanea, Calcaneal Fracture Plate	Titanium	Small, Medium, Large	$1,275.00

SU195	Calcanea Locking Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 	$235.00

45mm

SU196	Calcanea Variable Angle Screw	Cortical Screw, Titanium	Diameter 3.5mm, Length 20mm to 	$159.00

45mm

SU201	Panta Arthrodesis Nail	Ankle Nail, Titanium	Diameter 11-13 mm 	$1,000.00

Length - 150-180 mm

SU202	Panta Arthrodesis Nail	Locking Screw, Titanium	Diameter 5 mm	$79.00

Length - 20 - 110 mm

SU203	Panta Arthrodesis Nail	End Cap, Titanium	One Size	$45.00

SU204	Uni-Clip Compression Staple (Sterile)	Stainless Steel, Notched and Non-Notched	Width 11-20mm, Length 13-20mm	$750.00

SU205	Solustaple Standard Staple (Sterile)	Stainless Steel	26°, 90°, 8-10mm	$235.00

SU206	Spin Screw: Snap Off Screw (Sterile)	Titanium	Diameter 2-3mm, Length 10-34mm	$286.00

SU207	B-BOP Plantar Basal Osteotomy Plate 	Titanium	Moderate Correction(5°) Left, Right.	$460.00

(Sterile)	 Severe Correction (10°) Left, Right

SU208	Bold Compression Screw (Sterile)	Cannulated Titanium	10-34mm	$286.00

Surgical Specialties Pty Ltd

SQ001	Rearfoot Plate - RPS	Titanium	6-14 holes	$750.00

SQ002	Arthrodesis Flat Plate - AFP	Titanium	12-16mm	$510.00

SQ003	Distal Radius Reconstruction System	Radius Plate	2mm	$1,650.00

SQ004	Distal Radius  Reconstruction System	Ulna/Clavicle Plate	2mm	$1,200.00

SQ005	Radius Plating System	Standard	1.3mm	$1,350.00

SQ006	Radius Plating System	Anatomic	1.3mm	$1,350.00

SQ007	Osteosynthesis Plates	Straight Plate, 4 hole w/wo bar	1.2-2.7mm	$140.00

SQ008	Osteosynthesis Plates	Straight Plate, 5-13 hole w/wo bar	1.2-2.7mm	$240.00

SQ009	Osteosynthesis Plates	Plate-T, Y, L, Condylar 2x2	1.2-2.7mm	$240.00

SQ010	Osteosynthesis Plates	Straight Plate, 16 hole	1.2-2.7mm	$320.00

SQ011	Osteosynthesis Plates	Plate, 2x2+2, 3x2	1.2-2.7mm	$380.00

SQ012	Osteosynthesis Plates	Plate, 4x2	1.2-2.7mm	$500.00

SQ013	Displacement Plate - DPS	Titanium	6-10mm	$600.00

Prostheses List by Category and Sponsor	Page 374 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SQ014	Osteosynthesis Screws	Screw, Self Tapping or Lag	1.2, 1.7, 2.3mm	$75.00

SQ015	Osteosynthesis Screws	Screw, Emergency	1.4, 1.9, 2.4mm	$75.00

SQ016	Osteosynthesis Screws	Screw, Locking or Standard	2.7mm	$100.00

SQ017	CBS Screw	Titanium Compression Screw, Cannulated	1-1.5mm	$410.00

SQ018	CBS Screw	Titanium Compression Screw, Non 	1.5mm	$330.00	$410.00

Cannulated

SQ019	Cannulated Screw	Titanium	3.5mm	$155.00

SQ020	Hot-Staples	Hot-Staple Nitinol	11 - 25mm	$697.00

SQ021	TOM Plate	Titanium	L & R 0-5mm	$540.00

Surgiplas Medical

SP045	Logic Distraction System	Distractor, spacers & activation set	Straight, Curved 18-52mm	$3,150.00

Synthes Australia Pty Ltd

SY001	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	20g	$1,545.00

SY002	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	10g	$1,080.00

SY003	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	5g	$576.80

SY004	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	1g	$173.81

SY005	Chronos TCP Granules	Porous Tricalcium Phosphate Granules	0.5g	$120.67

SY016	AO/ASIF Plates	 3.5mm cloverleaf	3-6 hole, length 104mm	$674.40

SY017	AO/ASIF Plates	3.5mm calcaneal	Length 60 - 70mm	$752.47

SY018	AO/ASIF Plates	Straight & Curved 3.5mm, reconstruction	3-22 hole	$740.00

SY019	AO/ASIF Plates	Steel, left & right, 4.5mm T & L plate, 	3-12 hole	$388.83

4.5mm

SY020	AO/ASIF Plates	Steel, spoon plate,4.5mm 	5-12 hole	$415.00

SY023	AO/ASIF Plates	Steel, left & right, lateral, proximal, tibial, 	3-13 hole	$830.87

buttress, 4.5mm lateral tibial

SY024	AO/ASIF Plates 	4.5mm cobra head	8-11 hole	$572.00

SY025	AO/ASIF Plates	 1.5mm, straight / T & H shaped / L-condylar	3-20 hole / 9-100mm length	$227.00

SY027	AO/ASIF Plates	2.0mm reconstruction	20 hole, length 100mm	$274.00

SY029	AO/ASIF Plates 	2.7mm straight, 1/4 tubular & DCP Plate	2-50 hole / 23 - 300mm length	$369.00

Prostheses List by Category and Sponsor	Page 375 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY030	AO/ASIF Plates	Steel, DHS plates	130-150 deg/ 2-16 hole / 43-27mm 	$875.00

length / barrel 25 - 38mm

SY033	AO/ASIF Plates 	 4.5mm semi tubular	2 - 28 hole	$165.00

SY034	AO/ASIF Plates 	4.5mm narrow, DCP/LCDCP	2-28 hole	$378.00

SY035	AO/ASIF Plates	 4.5mm broad,  DCP/LCDCP	2-28 hole	$484.00

SY036	AO/ASIF Plates	Tubular plate, 3.5mm 1/3 tubular	2-28 hole	$157.93

SY037	AO/ASIF Plates	Wrist fusion plate - standard bend, short bend, 	2-28 hole	$1,456.00

straight

SY038	AO/ASIF Plates	DHS trochanteric stabilizing plate sterile	3-16 hole	$679.80

SY040	AO/ASIF Plates	Osteotomy plate - adult 	4 Hole /blade 40 - 110mm / 90-130 	$854.12

deg

SY041	AO/ASIF Intermedullary Nails	Femoral Nail	7.0mm-19mm dia 200-600mm length	$934.73

SY045	AO/ASIF Plates	2.7mm, shaped plate	2-18 hole	$113.00

SY046	AO/ASIF Plates	2.7 condylar	Left & Right	$376.00

SY049	AO/ASIF Screws	Mini cannulated screw	3.0mm dia / 8 - 40mm length	$178.74

SY050	AO/ASIF Screws	Plate pin	1.8mm buttress pin 12 - 30mm	$45.00

SY051	AO/ASIF K-Wires, Pins, Washers	Seldrill	4.0/3.0mm & 4.0 - 6mm / 80 - 	$110.21

250mm L

SY052	AO/ASIF Plates	Distal radius plate - volar plates - left & right	2.4mm	$963.05

SY053	AO/ASIF Plates	DHS/DCS plate	125-160deg 2-28 hole	$484.10

SY054	AO/ASIF Plates	DHS/DCS lag screw	50-145mm L	$247.20

SY056	Cortex Screws	2.7mm - 5.0mm diameter, 5mm - 	$92.70

150mm length

SY057	AO/ASIF K-Wires, Pins, Washers etc	Wire mount	One size only	$109.00

SY058	AO/ASIF Plates	1.2mm and 1.3mm straight, external, T, Y 	 3-4 hole	$420.00

button plate,  2.4mm Unilock angled, straight,

T, Y condylar, DCP

SY059	AO/ASIF Plates	Unilock, angled, straight, T, Y, condylar, 	2.4mm 16-20 hole	$1,545.00

DCP, LCDCP, left & right, plate

SY060	AO/ASIF Intermedullary Nails	Cannulated and Solid Nail - tibial / femoral	7.0mm-19mm dia 200-600mm length	$910.00

Prostheses List by Category and Sponsor	Page 376 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY061	AO/ASIF Screws	LISS screws - locking head & screw hole 	5.0 x 81mm - 5.0 x 85mm	$118.45

insert

SY064	Titanium Elastic Nail	1.5mm - 4.0mm	$220.00

SY065	Cortex Screw	Cortex Screws	1.0mm - 2.6mm diameter, 5mm - 	$67.00

100mm Length

SY068	AO/ASIF Screws	Cancellous,- ligament, bunionectomy, full & 	4.0mm dia / 10 - 105mm	$91.03

short thread

SY069	AO/ASIF Screws	Malleolar Screws	46.0 - 80.0mm	$108.30

SY071	AO/ASIF Screws Steel	3.5mm cannulated screws  	Short thread 10 - 50mm / full thread	$175.10

10 - 50mm

SY072	AO/ASIF Screws Steel	Cannulated screws	1/3 thread & long thread / 10 - 	$165.49

50mm /4.0mm cannulated

SY073	AO/ASIF Screws Steel	4.5mm cannulated screws	Short thread, 1/3 thread, full thread /	$185.40

20 - 72mm, 4.5mm cannulated

SY074	AO/ASIF Screws Steel	Cannulated screws	6.5 - 7.30mm diameter; 16mm, 	$312.99

32mm full thread / 20 - 150mm

cannulated

SY075	AO/ASIF Screws Steel	7.35mm cannulated screws	16, 32mm, & full thread / 20 - 	$294.30

150mm / 7.3mm cannulated

SY076	AO/ASIF Screws Steel	Cannulated implant 	Custom made	$288.40

SY081	AO/ASIF Screws	4.0mm Cancellous Screws	29.0 - 70.0mm	$48.93

SY082	AO/ASIF Screws	6.5mm cancellous screws	10-150mm L	$144.99

SY085	AO/ASIF Screws	Cannulated screws	Diameter 5.0 - 7.3mm, 20-150mm 	$213.21

L

SY087	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wire single ended	0.06 - 3.0mm / length 70 - 400mm	$27.81	To be funded where any or all K-

wires used in a procedure are used as

an implant.

SY089	AO/ASIF K-Wires, Pins, Washers etc - Steel	K-wires threaded	0.25 & 15mm / dia .08 - 3.0mm & 	$72.10	To be funded where any or all K-

length 70-300mm	wires used in a procedure are used as

an implant.

SY090	AO/ASIF K-Wires, Pins, Washers etc - Steel	Steinmann pins/schanz screws	4.5 / 5.0 / 3.5 / 3.0 / 4.0 , length 60	$88.58

- 300 mm, T

SY091	AO/ASIF k-Wires, Pins, Washers etc	Pinless pins/clips	Asymetric small and large	$767.35

SY092	AO/ASIF K-Wires, Pins, Washers etc.	Washers/nuts	1.0mm - 16mm dia	$103.00

Prostheses List by Category and Sponsor	Page 377 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY093	AO/ASIF Plates	Specially manufactured plate all sizes	Custom made	$3,605.00

SY094	AO/ASIF Plates	Shaped	2.0mm & 2.7mm	$348.14

SY097	AO/ASIF Plates - Steel	4.5mm broad DCP/LCDCP	6-26 hole/ length 106 - 359mm	$644.00

SY099	AO/ASIF Plates	4.5mm lengthening broad	2-28 hole	$294.00

SY100	AO/ASIF Plates	4.5mm Hook Plate	3-12 hole	$530.00

SY101	AO/ASIF Plates	Osteotomy Plate - Adult / LC angle blade / 	4 hole, 5-6 hole/30-40mm blade 	$453.00

cannulated angle blade	length/ 90 - 100 deg, 10- 20 mm

displacement

SY102	AO/ASIF Plates	Osteotomy plate - adolescent	90 deg, blade 40 - 60mm, displ 10 -	$278.00

15mm

SY103	AO/ASIF Plates	Osteotomy plate - infant	Child, toddler & infant, 115 deg 	$301.80

bifurcated, blade 25 - 45mm, 80 -

100 deg, 4 - 8mm offset, displ 7 -

12mm, height 49- 54mm

SY104	AO/ASIF Plates	Osteotomy plate - high tibial	95 deg condylarprox tibia , 50-60 	$1,042.77

mm, displ 15-20mm

SY105	AO/ASIF Plates - Steel	Condylar & small condylar, angled plate	5 - 24 hole, blade length 50 - 	$974.00

90mm, 95 degree

SY106	AO/ASIF Plates - Steel	Angled plate	4 - 12 hole,  length 50 - 110mm 	$1,081.50

130 degree

SY107	AO/ASIF Plates - Steel	DCS plate 	95 deg, 10 hole - 22 hole, length 	$1,214.99

100 - 370mm, barrel 25mm.

SY109	AO/ASIF Plates	DHS/DCS compression screw	36mm length	$46.35

SY110	AO/ASIF Plates	DHS/DCS locking device screw	One size only	$503.54

SY111	AO/ASIF Plates	Specially manufactured plate	1.0mm - 6.5mm	$3,914.00

SY112	AO/ASIF Plates	Plate	1.5mm, 2 - 28 hole	$401.70

SY113	AO/ASIF Plates	2.0mm condylar	Left & right	$420.00

SY114	AO/ASIF Plates	3.5mm narrow, DCP/LCDCP	2-22 hole	$231.00

SY115	AO/ASIF Plates	3.5mm, T- PLATE - right & oblique angle	2-8 hole	$294.00

SY116	AO/ASIF Plates	4.5mm recon plate	2-28 hole	$840.00

SY117	AO/ASIF Plates	4.5mm,T-plate  - left & right	3 hole - 9 hole	$572.00

SY118	AO/ASIF Plates	4.5mm, head buttress plate lateral tibial left & 	5 - 13 hole	$1,246.30

right

Prostheses List by Category and Sponsor	Page 378 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY119	AO/ASIF Plates	4.5mm condylar buttress plate left & right	7 - 15 hole	$1,246.30

SY121	AO/ASIF Plates	4.5mm condylar, angled plate	4-22 hole	$1,200.00

SY122	AO/ASIF Plates	4.5mm, angled plate	4-22 hole	$1,200.00

SY123	AO/ASIF Intermedullary Nails	Femoral reamed, tibial nail	9 - 19mm , length 200 - 500mm.	$648.90

SY124	AO/ASIF Intermedullary Nails	Proximal sleeve	Standard 130 deg antigrade, spiral 	$360.50

blade

SY125	AO/ASIF Intermedullary Nails	End cap	0 - 40mm	$207.03

SY126	AO/ASIF Intermedullary Nails	Spiral blade	Length 20 - 150mm	$655.08

SY127	AO/ASIF Intermedullary Nails	Shaft screw	5.0mm , length 70 - 125mm	$156.56

SY128	AO/ASIF Intermedullary Nails	Tibial unreamed - steel	8 - 9 mm , length 255 - 420mm	$1,009.40

SY129	AO/ASIF Intermedullary Nails	Humeral Nail	6.0 - 12.0 mm length 100 - 400mm	$865.20

SY130	AO/ASIF Arthrodesis system	Arthrodesis	26 - 240mm	$4,429.00

SY131	AO/ASIF Intermedullary Nails	Locking bolts - steel	3.9 - 4.9mm , length 18 - 100mm	$86.52

SY132	AO/ASIF Intermedullary Nails	Locking bolts	3.0mm-6.0mm Dia 10-150mm 	$121.06

Length

SY133	AO/ASIF Intermedullary Nails	Sealing screw	0 - 20mm	$41.00

SY153	AO/ASIF Plates - Steel	Osteotomy plate - shoulder	Dislocation 80-90 deg.  blade length	$920.00

35 - 40mm

SY161	LCP Plate	1/3 Tubular Plate	Dia 3.5mm, length 2-16 hole	$175.00

SY162	LCP Plate	Distal Tibial Plate, sterile/non-sterile	Dia 3.5 - 5.0mm, length 4-24 hole	$1,800.00

SY163	LCP Plate	Tibial Plate, Sterile/Non Sterile	Diameter 3.5 - 5.0mm, length 4 - 20	$1,854.00

hole

SY164	LCP Plate	Distal Femoral Buttress Plate, Sterile/Non 	Dia 5.0mm, length 4-22 hole	$1,854.00

Sterile

SY165	LCP Plate	Tomofix Plate, Sterile/Non Sterile	Dia 5.0mm, length 2-8 hole	$1,211.62

SY166	LCP Plate	Locking Proximal Humeral Plate, sterile/non 	Dia 3.5mm, length 3-12 hole	$1,376.00

sterile

SY170	LCP Plate	Reconstruction Plate, Sterile/Non Sterile	Dia 3.5 - 5.0mm, length 3-22 hole	$598.00

SY172	LCP Plate	Straight Plate, Sterile/Non Sterile	Dia 3.5 - 5.0mm, length 2-20 hole	$229.00

SY173	Locking Head Screws	Self drilling, Self Tapping, Sterile/Non-Sterile	Diameter 3.5 - 5.0mm, Length 8 - 	$178.19

100mm

Prostheses List by Category and Sponsor	Page 379 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY176	ChronOS TCP	Wedge	Small, Medium, Large	$1,762.03

SY177	ChronOS TCP	Blocks	Small, Medium, Large	$1,643.24

SY180	Cervical Spine Locking Plate (CSLP) System	Small Stature Plate	Length 20-77mm	$1,250.00

SY188	AO/ASIF Plates	Calcaneal, Locking	3.5mm, 30 - 100mm	$1,209.22

SY189	ChronOS Cylinder	Osteoconductive Bone Substitute	8.5, 9.5, 10.5, 12.5 & 14cm	$980.20

SY190	AO/ASIF Plates	Proximal Tibial Plate	3.3mm-5.0mm dia 2.0-28mm	$1,450.00

SY193	Orthopaedic External Fixator Systems	Rod / Bar	2.0mm-15.0mm dia 20.0mm-	$144.20

445mm L

SY194	Orthopaedic External Fixator Systems	Curved rod - carbon fibre	11mm	$1,353.00

SY195	Orthopaedic External Fixator Systems	Protective caps for rods, protection caps	One size only	$10.30

SY196	Orthopaedic External Fixator Systems	Rod/Bar	450mm length - 650mm Length	$148.32

SY197	Orthopaedic External Fixator Systems	Hybrid Rings	11mm diameter 1/4 ring - 205mm 	$721.00

diameter full ring

SY198	Orthopaedic External Fixator Systems	Distractors and lengthening apparatus	Mini - lengthening apparatus, mini -	$3,178.38

distractor/lengthening apparatus,

medium and large distractor

SY199	Orthopaedic External Fixator Systems	External fixator clamps, double clamp	4-6mm Diameter	$509.85

SY200	Orthopaedic External Fixator Systems	External fixator clamps, transverse clamp	4-6mm Diameter	$1,077.41

SY201	Orthopaedic External Fixator Systems	External fixator clamps, clamp or open clamp	1.25-6mm Diameter	$566.50

SY202	Orthopaedic External Fixator Systems	External fixator clamps, clamp for hybrid	1.8-11mm Diameter	$1,114.23

SY203	Orthopaedic External Fixator Systems	External fixator clamps, tube to tube/universal 	11mm Diameter	$769.36

clamp

SY204	Orthopaedic External Fixator Systems	External fixator clamps, open/clip on clamp	4-6mm Diameter	$478.95

SY205	Orthopaedic External Fixator Systems	External fixator clamps, connecting clamp	3-4mm Diameter	$327.54

SY206	Orthopaedic External Fixator Systems	External fixator clamps, adjustable clamp	4.0mm	$1,390.22

SY207	Orthopaedic External Fixator Systems	External fixator clamp components, threaded rod	14mm diameter	$221.45

SY210	Orthopaedic External Fixator Systems	External fixator clamp components, spare screw	1.25-6.0mm	$61.80

SY211	Orthopaedic External Fixator Systems	External fixator clamp components, nut for 	11mm	$16.14

threaded rod

Prostheses List by Category and Sponsor	Page 380 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY213	Orthopaedic External Fixator Systems	External fixator clamp components, nut for 	1.25-6.0mm	$92.70

open adjustable clamp

SY220	Orthopaedic External Fixator Systems	External fixator clamp components, threaded rod	12mm, L 360mm	$185.00

SY221	Orthopaedic External Fixator Systems	External fixator clamp components, threaded rod	12mm, L 260mm	$190.55

SY223	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece	Large	$1,133.30

SY224	Orthopaedic External Fixator Systems	External fixator clamp components, angled piece	3.5-11.0mm	$1,167.30

SY225	Orthopaedic External Fixator Systems	External fixator clamp components, transport 	1.25-6.0mm	$515.00

nut with catch

SY226	Orthopaedic External Fixator Systems	External fixator clamp components, clamp 	1.25-6.0mm	$295.84

body with two nuts

SY227	Orthopaedic External Fixator Systems	External fixator clamp components, vice plate	1.25-6.0mm	$216.30

SY228	Orthopaedic External Fixator Systems	External fixator clamp components, vice plate 	1.25-6.0mm	$403.42

double

SY229	Orthopaedic External Fixator Systems	External fixator clamp components, vice plate 	1.25-6.0mm	$360.50

for open

SY230	Orthopaedic External Fixator Systems	External fixator clamp components, 	1.25-6.0mm	$360.50

intermediate piece

SY231	Orthopaedic External Fixator Systems	External fixator clamp components, locking 	1.25-6.0mm	$360.50

sleeve for open

SY232	Orthopaedic External Fixator Systems	External fixator clamp components, clamp 	1.25-6.0mm	$334.75

body of open

SY233	Orthopaedic External Fixator Systems	External fixator clamp components, angle	3mm	$92.70

SY234	Orthopaedic External Fixator Systems	External fixator clamp components, angulator	3mm	$2,563.67

SY236	Orthopaedic External Fixator Systems	External fixator clamp components, halo with 	1.25-6.0mm	$1,545.00

visor

SY237	Orthopaedic External Fixator Systems	3 degree, 6 degree, 11 degree. Medium, Large	1.25-6.0mm	$226.60

SY238	Orthopaedic External Fixator Systems	External fixator clamp components, connecting	1.25-6.0mm	$51.50

tube

SY239	Orthopaedic External Fixator Systems	External fixator clamp components, angled 	1.25-6.0mm	$535.60

piece with nut

Prostheses List by Category and Sponsor	Page 381 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY240	Orthopaedic External Fixator Systems	External fixator clamp components, bar for 	1.25-6.0mm	$96.82

lower jaw for children

SY241	Orthopaedic External Fixator Systems	External fixator clamp components, bar for 	1.25-6.0mm	$699.26

upper jaw

SY242	Orthopaedic External Fixator Systems	External fixator clamp components, bar for 	1.25-6.0mm	$700.00

upper jaw

SY246	Orthopaedic External Fixator Systems	External fixator clamp components, sliding 	1.25-6.0mm	$824.00

carriage

SY247	Orthopaedic External Fixator Systems	External fixator clamp components, double 	1.25-6.0mm	$1,721.24

joint

SY249	AO/ASIF K Wires, Pins Washers - Steel/Ti 	Hybrid Pins - Spade point wires/reduction wires	1.8, 2.0mm Diameters	$128.75

Sterile & Non Sterile

SY253	AO/ASIF Plates	Foot & hand plates - steel - multiple hole	1 - 4mm	$669.50

SY257	A/O/ASIF K-wires, Pins, Washers etc - Steel -	Cerclage Wire - coils with and without eye	0.4-2.5mm	$56.42	To be funded where any or all K-

Sterile & Non Sterile	wires used in a procedure are used as

an implant.

SY259	Locking Distal Radius Plate System	Small & Mini Fragment Plates - Volar Plate	LCP - Volar Plate 2.4mm Left & 	$2,350.00

Right, 2.4 Volar Plates Straight

SY261	LCP Spacer/Washer	LCP Wiremount Spacer	Diameter 2mm - 6mm	$62.83

SY262	AO/ASIF Intermedullary Nails	Proximal Femoral Nail	9-15mm dia / 120-150 deg / 170 - 	$2,060.00

500mm Length

SY263	AO/ASIF Intermedullary Nails	Hip Pin	12.0mm, 30-200mm Length	$391.40

SY264	AO/ASIF Intermedullary Nails	Distal Femoral Nail - DFN	9-15mm / 160-420mm Length	$1,081.50

SY265	AO/ASIF Intermedullary Nails	Locking Screws	15 -150mm	$123.60

SY266	AO/ASIF Screws	Malleolar Screws	20.0 - 45.0mm	$94.76

SY267	AO/ASIF Screws	6.5mm Cancellous Screws	20.0 - 65mm	$71.83

SY270	Antegrade Femoral Nail (AFN) & Associated 	Synthes Antegrade Femoral Nail	AFN Diameter 6.5-18mm, Length 	$1,030.00

Implants	30-500mm

SY278	AO/ASIF Cortex Screws	Locking Head Screws	Diam 2.4mm - 5.0mm, Length 6 -	$180.25

90mm

SY279	Small & Mini Fragment Plates	Locking Distal Radius Plate System	LCP Dorsal T, L, Straight Plates 	$1,184.50

2.4mm Long/Short

SY280	Small & Mini Fragment Plates	Locking Distal Radius Plate System	LCP-ORP Dorsal 2.4mm Plate Left 	$1,715.00

& Right

Prostheses List by Category and Sponsor	Page 382 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY281	Norian SRS Reactant Pack	Cement Reactant Pack	5cc	$1,744.82

SY282	Norian SRS Reactant Pack	Cement Reactant Pack	10cc	$2,492.60

SY283	LCP Plate	LCP  Olecranon Plate, left and right, non 	2-20 hole plates	$1,308.10

sterile/sterile

SY284	LCP Plate	LCP Distal humerus plate, dorso-lateral, left 	2-20 hole plates	$1,308.10

and right, non sterile/sterile; LCP Distal

humerus plate, dorso-lateral with support, left

and right, non sterile/sterile; LCP Distal

humerus plate, medial, left and right, non

sterile/sterile

SY285	AO/ASIF Blade	Helical blade	50-150mm length	$515.00

SY292	Facet Interference Screw	Cannulated Screw	7.5mm	$500.00

SY320	AO/ASIF Screw	Locking Head Screw 2.0mm	Length: 6-40mm	$144.20

SY321	AO/ASIF Screw	2.4mm Cannulated Screw	Short thread 15-40mm; Long 	$164.80

Thread 5-35mm

SY322	AO/ASIF Screws	Headless Compression Screw 2.0mm - 8.0mm	Short Thread 4-40mm; Long Thread	$196.00

4-40mm

SY323	AO/ASIF Plates	Unilock, angled, straight, T, Y, condylar, 	2.4mm 4-12 hole	$566.50

DCP, LCDCP, left & right, plate

SY331	Norian CRS/SRS Fast Set Putty	5cc	$1,694.00

SY332	Norian CRS/SRS Fast Set Putty	10cc	$2,420.00

SY333	Chronos Porous B Tricalcium Phosphate 	Porous B-TCP Granules	2.5cc	$400.00

Granules

SY350	AO/ASIF Plate	3.5mm Reconstruction Plate	2-24 holes	$530.00

SY351	AO/ASIF Plates	Calcaneal Locking Plate	3.5mm, 30-100mm length	$1,050.00

SY352	Cortex Screws	Cortex Screws pack of four	1.00mm 2.6mm diameter, 5mm - 	$268.00

100mm length

SY353	Cortex Screws	Cortex Screws pack of four	2.7mm - 5.0mm diameter, 5.0mm - 	$370.80

100mm Length

SY354	Small & Mini Fragment Plates	LCP Radial Head Plates	2.4mm	$1,320.00

SY355	AO/ASIF Plates	DHS Blade	60mm - 150mm	$240.00	$400.00

SY358	Cervios Cylinder	Osteoconductive Bone Substitute	F1, 2, 3, 4, 5 & C1, 2, 3, 4, 5	$550.00

SY376	LCP Plate	Broad Curved Plate or Proximal Femur Plate	12 Hole - 26 Hole: 2 - 16 Hole	$1,800.00

Prostheses List by Category and Sponsor	Page 383 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY377	Orthopaedic Cable System	Cable with Crimp	1.0mm - 1.7mm, 750mm	$650.00

SY378	Trochanteric Reattachment Device	Titanium alloy reattachment device with cables	Standard and Long	$2,500.00

SY386	PolyMax Resorbable Fixation System	1.5/2.0/2.5 Cortex Screws/Tacks Pack of 2	3-8mm	$235.00

SY387	PolyMax Resorbable Fixation System	1.5/2.0 Cortex Screws/Tacks Pack of 4	3-8mm	$360.00

SY388	PolyMax Resorbable Fixation System	1.5/2.0 Straight Plates	2-4 Holes	$230.00

SY389	PolyMax Resorbable Fixation System	1.5/2.0 Adaption Plates	8-20 Holes	$360.00

SY390	PolyMax Resorbable Fixation System	1.5/2.0 Strut Plates	2 x 10-20 Holes	$618.00

SY391	PolyMax Resorbable Fixation System	1.5/2.0 Orbital Floor Plate	S, M, L	$615.00

SY392	PolyMax Resorbable Fixation System	X, Y, Double Y, Orbital, L Plates	4-10 Holes	$280.00

SY393	PolyMax Resorbable Fixation System	1.5/2.0 Standard Mesh	50 x 50mm	$1,300.00

SY394	PolyMax Resorbable Fixation System	1.5/2.0 Standard Mesh	100 x 100mm	$2,150.00

SY395	PolyMax Resorbable Fixation System	1.5/2.0 Contourable Mesh	50 x 50mm	$1,300.00

SY396	PolyMax Resorbable Fixation System	1.5/2.0 Contourable Mesh	100 x 100mm	$2,150.00

SY397	PolyMax Resorbable Fixation System	1.5 Burr Hole Cover	8 Hole	$600.00

Taylor Bryant Pty Ltd

TB009	Lyderic II Monotige Femoral Stem	HA - Titanium alloy - Cemented - Stainless 	Sizes 6 - 11	$1,500.00

steel

TB062	Groupe Lepine	Acetabular Screws	5.5mm dia in 15mm-60mm length 	$57.00

5mm increments

TB064	Groupe Lepine	Bipolar Heads	42 - 60mm in 1mm increments	$727.00

TB065	Groupe Lepine Total Hip Replacement	Stainless Steel Head	.-5mm/0mm/+5mm/ +10mm	$800.00

TB067	Groupe Lepine Total Hip Replacement	Lyderic II Modular Stem, Cemented	Size 6, 7, 9, 9, 10, 11	$1,500.00

TB068	Groupe Lepine Total Hip Replacement	MBA/Pavi  Acetabular Cup	46 - 64mm in 2 mm increments & 0	$1,623.00

or 10 Degrees

TB069	Groupe Lepine Total Hip Replacement	MBA Stem	1 - 8	$1,774.00	$3,000.00

TB174	GL - U Hooded Liner	Hooded/Flat Insert	46, 48, 50, 52, 54, 56, 58, 60, 62, 	$613.00	Also grouped in Hip Group 20e

64mm

Prostheses List by Category and Sponsor	Page 384 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB175	B2C Espace Acetabular Cup	Acetabular component for revision hip system	Espace Shell 0 degrees peak - diam 	$6,240.00

50mm, 54mm, 58mm, 62mm with

plastic insert, Espace Shell 20

degrees peak - diam 50mm, 54mm,

58mm, 62mm with plastic insert,

Espace Shell 8mm extension - diam

50mm, 54mm, 58mm, 62mm with

plastic insert, Espace Shell 14mm

extension - diam 50mm, 54mm,

58mm, 62mm with plastic insert,

Espace Shell 20mm extension -

diam 50mm, 54mm, 58mm, 62mm

with plastic insert,

TB177	GL - Alumina U Liner	Ceramic Insert	46-64mm (increment by 2mm)	$2,326.00

TB183	Lyderic II HA Modular Stem	Forged titanium alloy, double layer coating	Size 6-11	$2,288.00	$2,800.00

TB184	Modular U Necks	Cobalt chrome	Standard, varus, valgus, antiverted 	$720.00

right, antiverted left

TB197	SR Hand Implant System	SR Hand MCP/PIP/TMC (Basal Thumb) 	XS/S/M/L/XL, 1,2,3,4,5	$1,569.00

Implants - CoCr- Titanium Alloy, UHMWPE

TB200	Proximal Interphalangeal Joint Implant	Sutter Proximal Interphalangeal Joint Implant -	10, 20, 30, 40, 50	$600.00

Silicon

TB201	Metacarpophalangeal Implant	Sutter Metacarpophalangeal Joint Implant - 	00, 10, 20, 30, 40, 50	$600.00

Silicon

TB204	Ulnar Head Implants	Ulna Head - CoCr	Stem: 2,3,4 Head: 2,3,4	$2,208.00

TB205	Radial Head Implants	Radial/RECON RHead - CoCr	Stem: 2,3,4  Head: 2,3,4,4N	$2,072.00

TB220	10/12/14 Alumina Head BOTA	Alumina Head	28mm (-3.5mm, 0mm, +3.5mm); 	$2,000.00

32mm (-4mm, 0mm, +4mm)

TB232	Toe Joint	Metallic Hemiarthroplasty resurfacing 	8mm - 23 mm	$1,205.00

prosthesis for the Metatarsophalangeal Joint

TB248	Avanta - SCS Distal Radius Plate System	Left and Right, Tined	Small, Large	$1,140.00

TB250	Diamond Plate	Carpal Fusion Plate	Large, Small	$2,092.00

TB253	Avanta - Total Wrist Implant System	Left and Right Radial Components	Small, Medium, Large	$3,275.00

TB254	Avanta - Total Wrist Implant System	Carpal Screws	15, 18, 22, 26, 30mm	$131.00

TB255	Avanta - Total Wrist Implant System	Carpal Ball	Small, Medium, Large	$445.00

TB256	Avanta - Total Wrist Implant System	Carpal Component	Small, Medium, Large	$2,645.00

Prostheses List by Category and Sponsor	Page 385 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB257	Avanta - Preflex	MCP Finger Joint Implant	00/10/20/30/40/50/60mm	$611.00

TB304	HemiCAP Contoured Articular Knee System	Articular Component - Cobalt Chrome	Articular Component 15mm - 	$2,250.00	$3,195.00

0.5mm x 0.5mm to 2.0mm x

2.0mm offset;  Articular Component

20mm - 1.0mm x 1.0mm to

4.0mm x 4.0mm offset

TB305	HemiCAP Contoured Articular Knee System	Fixation Screw - Titanium	Component for 15mm & 20mm 	$200.00	$900.00	Used with Billing Code TB304

Articular Components Screw 9.5mm

Dia x 20mm

TB306	HemiCAP Contoured Articular Resurfacing 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 	$4,035.00

Shoulder System	2.5mm x 2.5mm to 5.0mm x

5.0mm offset;  Articular Component

30mm - 4.5mm x 4.5mm to

7.0mm x 7.0mm offset; Articular

Component 35mm - 6.0mm x

6.0mm to 9.5mm x 9.5mm;

Articular Component 40mm -

8.0mm x 8.0mm to 12.0mm x

12.0mm

TB307	HemiCAP Contoured Articular Resurfacing 	Fixation Screw - Titanium	Fixation component for 25mm, 	$1,545.00	Used with Billing code TB306

Shoulder System	30mm, 35mm, 40mm Artuclar

Components Screw 10.5mm Dia &

12.5mm Dia & 13.7mm Dia

TB308	HemiCAP Contoured Articular Resurfacing 	Articular Component  - Chrome Cobalt	Articular Component 25mm - 	$4,056.00

Hip System	2.5mm x 2.5mm to 5.0mm x

5.0mm offset;  Articular Component

30mm - 4.5mm x 4.5mm to

7.0mm x 7.0mm offset; Articular

Component 35mm - 6.0mm x

6.0mm to 9.5mm x 9.5mm

TB309	HemiCAP Contoured Articular Resurfacing 	Fixation Component - Titanium	Fixation component for 	$1,560.00	Used with Billing code TB308

Hip System	25mm,30mm, 35mm Artuclar

Components

TB315	Delivery Track	Composition: Peek	8 x 20/25/30mm	$824.00

TB320	I.T.S Claviclar Angle Locking Plate (CAL)	Claviculaplate - Titanium	$1,310.00

TB321	I.T.S Claviclar Angle Locking Plate (CAL)	Stabilisation Screw - TiAL6V4 EL1. Surface 	3.5mm, 14mm to 24mm	$147.00

Treatment - Doltise

Prostheses List by Category and Sponsor	Page 386 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB322	I.T.S. Volar Angle Locking Plate (VAL)	Locking Plate - titanium	Left, Right, 25mm, 32mm, 4,6,8,10	$2,135.00

and 12 hole

TB323	I.T.S. Volar Angle Locking Plate (VAL)	Cancellous Stabilization Screw	D=3.5mm, Length = 14mm-30mm 	$157.00

(with incremental of 2)

TB324	I.T.S. Volar Angle Locking Plate (VAL)	Cortical Screw	D=3.5mm, Length=14mm-24mm 	$53.00

(with incremental of 2)

TB326	Autofix Screws	Cannulated low compression screw	Diameter: 2.0 - 2.5mm, Length: 	$390.00

10mm - 30mm

TB327	MiniFix	Finger Mini Fixator System	One size	$3,328.00

TB328	MCP Finger Prosthesis "Ariadna"	Distal part, Stainless Steel	1,2 or3	$1,040.00	Tempory approval, pending review of

product group

TB329	PIP Finger Prosthesis 'DGT"	Proximal part Stainless Steel textured in 	1,2 or3	$1,248.00	Tempory approval, pending review of

Cobalt Chrome	 product group

TB330	MCP Finger Prosthesis "Ariadna"	Proximal part, Stainless Steel	1,2,or 3	$1,248.00	Tempory approval, pending review of

product groups

TB331	RadioFix	Radio Fixator System	One size	$2,080.00	Tempory approval, pending review of

product group

TB332	Carpal Button	Titanium	x3 Sizes with various screw hole 	$1,695.00

options

TB333	Trapezio Metacarpal Prosthesis DLC	Stem - Cobalt Chrome	1 or 2	$884.00	Temporary approval, pending review

of product group

TB334	Carpal Screw	Titanium	2.5mm diameter in sizes 12mm - 	$125.00

20mm length

TB335	Elektra Stem	Cobalt Chromium/Hydroxyapatite coated	6-8mm	$1,664.00	Temporary approval, pending review

of product group

TB336	Elektra Neck	Cobalt Chromium	Extra Short, Short, Medium, Long	$780.00	Temporary approval,pending review

of product group

TB337	Memofix Staples	Nitinol	10-17mm x 12-20mm Length	$718.00

TB338	Trapezio Metacarpal Prosthesis DLC	Cup, Polyethylene	One size only	$416.00	Tempory Approval, pending review

of product group

TB339	Trapezio Metacarpal Prosthesis DLC	Neck Cobalt Chrome	Short, Medium or long	$780.00	Tempory approval, pending review of

product group

TB340	Poing Fix	Wrist Fixator System	One size	$2,808.00

TB341	Wrist Fixator PFII	Wrist Fixator System	One size	$2,912.00

Prostheses List by Category and Sponsor	Page 387 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TB342	MicroFix	Finger Mini Fixator System	one size	$1,664.00

TB343	Precifix	Titanium	Diameter: 2-2.5mm, Length 22-40mm	$390.00

TB344	PIP Finger Prosthesis "DGT"	Distal part, Stainless Steel texture with Cobalt	1,2 or3	$1,040.00	Temporary approval, pending review

Chrome	of product group

TB345	Weil Screws	Titanium	7-17mm	$390.00

TB346	Elektra Cup	Cobalt Chromium and Hydroxyapatite coating	One size only	$884.00	Temporary approval, pending review

of product group

TB347	Hemi CAP Articular Resurfacing Great Toe 	Articular Component	12mm (1-2mm x 1.5-3mm offset), 	$1,500.00

System	15mm (1.5-2.5mm x 2.5-4.5mm

offset)

TB348	Hemi CAP Articular Resurfacing Great Toe 	Fixation Component	8mm x 16mm, 9.5mm x 18mm	$900.00

System

TB349	Kainos	Granules	1 x 2cm3	$265.00

TB350	Kainos	Granules	1 x 3cm3	$385.00

TB351	Kainos	Granules	1x5cm3	$590.00

TB352	Kainos	Granules	1x6cm3	$650.00

TB353	Kainos	Granules	1x10cm3	$920.00

TB354	Kainos	Granules	1x16cm3	$1,190.00

TB355	Kainos	Granules	1x20cm3	$1,390.00

TB356	Kainos	Granules	1x30cm3	$1,700.00

TB357	Kainos	Blocks	4-8x13x14	$760.00

TB358	Screws	Diamond Carpal Screws	12, 14, 16mm	$100.00

Technology For Life Pty Ltd

TE016	Ceraform Cementek Bone Substitute	Composite hyclroxy apitite	20-40 gram (per 20g)	$1,744.00	$1,810.00

TiMax Surgical Pty Ltd

TI043	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5-2.5 mesh plates, 14 x 14 holes; 	$2,490.00

Polylactic Acid Trimethylene Carbonate 	1.5mm baby mesh plate 14 x 14

Copolymer	holes

TI044	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5-2.5 mesh plate, 7 x 7 holes; 	$1,200.00

Polylactic Acid Trimethylene Carbonate 	1.5mm baby mesh plate 7 x 7 holes

Copolymer

Prostheses List by Category and Sponsor	Page 388 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TI045	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5mm baby plates:- 20 hole, c-plate	$350.00

Polylactic Acid Trimethylene Carbonate 	 & x-plate 7 hole, 2 hole

Copolymer

TI046	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5mm plates:- 20 holes, c-plate & 	$310.00

Polylactic Acid Trimethylene Carbonate 	x-plate 7 hole, L-plate 7 hole L &

Copolymer	R. burrhole

TI047	CPS Bioabsorbable Fixation System	CPS Systems and Baby System Plates.  	1.5-2.5mm plates:- 2-10 hole plates 	$240.00

Polylactic Acid Trimethylene Carbonate 	and extended, c-plate & x-plate 7

Copolymer	hole, H-plate 8 hole, orthognathic

hole and L-plate L & R 7 hole

TI048	CPS Screws	Polylactic acid trimethylene carbonate 	1.5-3.1mm screw ring 5 pcs	$40.00

copolymer

TI050	CPS Screws	Polylactic acid trimethylene carbonate 	Hexalon ACL screw 7-10 x 20-	$90.00

copolymer	30mm

TI051	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 6 & 8 hole	$433.00

TI052	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Plates 2 & 2.5 systems 4,6,8, 10 	$240.00

hole

TI053	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Pin 1.5 & 2 mm dia x 20-50 mm 	$185.00

long

TI056	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 6-23mm, 3.1 x 6-8mm	$260.00

TI057	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 3.1 x 6 - 30mm and 2.5 x 	$155.00

30mm

TI058	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2.8 x 40mm, 2.5 x 30mm, 	$349.00

4.5 x 90mm

TI059	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 4.5 x 20-55mm, 3.1 x 	$310.00

40mm

TI060	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 2 x 9-19mm, 2.5 x 10-	$40.00

23mm and 2.8 x 10 - 23mm

TI061	CPS Bioabsorbable Fixation System	OTPS fixation system: PLGA/TMC copolymer	Screws 1.5 - 2.5mm dia x 5-8mm 	$530.00

long

TI062	CPS Bioabsorbable Fixation System	Trinion meniscus screw: PLGA/TMC 	10 & 12mm long	$179.00

copolymer

TI090	AutoCuff System - Suture Cartridge	SmartStitch Magnum Wire - Ultra high tensile	$110.00

strength

Prostheses List by Category and Sponsor	Page 389 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TI091	AutoCuff System - Suture Cartridge	SmartStitch Suture Cartridge	Number 2 braided polyester	$85.00

TI092	AutoCuff System	Magnum Knotless Implant - w/ inserter handle	One Size Only	$730.00

TI093	Magnum Arthroscopic Knotless Anchor 	Arthroscopically implanted stainless steel 	1 - 2.8mm x 8.0mm x 5.0mm;  2 - 	$690.00

Implant	suture anchor for rotator cuff or labrum repair	2.8mm x 13mm x 7.2mm

TI094	Atlantech graft fixation screw - titanium	Titanium ACL Screw	7 x 20mm, 7 x 25mm, 7 x 30mm,  	$161.00

8 x 20mm, 8 x 25mm, 8 x 30mm,

9 x 20mm, 9 x 30mm

TI095	CPS Screw Hexalon Biodegradable ACL/PCL 	Biodegradable ACL/PCL Recon Screw 	6 x 20, 6 x 25, 6 x 30, 7 x 20, 7 x 	$275.00

Reconstruction	PLLA/PGA/TMC	25, 7 x 30, 8 x 20, 8 x 25, 8 x 30,

9 x 20, 9 x 25, 9 x 30, 10 x 30

Tornier Pty Ltd

TO001	Cheville Salto Ankle Prostheses	Components include tibial, mobile bearing, 	Tibial/Talar Sizes 1small to 3 = x-	$6,250.00

talar, malleolar for use as a total ankle 	large. Mobile Bearing Thickness

prostheses, Ti CoCr	4,5,6,7 mm. Malleoloar Sizes 1 & 2

TO002	Aequalis Primary Shoulder Prostheses	Includes Glenoid component, Humeral Stem &	6.5-15mm - 1mm increm wide, 66-	$3,600.00

Screw + Humeral Head, Ti CoCr	167mm long

TO003	Aequalis Primary Shoulder Prostheses	Humeral Head CoCr, includes the Glenoid 	Diameter: 	$1,327.00

component, Humeral Stem & Screw + 	37,39,41,43,46,48,50,52mm

Humeral Head.

TO004	Aequalis Primary Shoulder Prostheses	UHMWPE Keeled Glenoid Component	31mm,35mm,39mm dia (small, 	$1,670.00

medium & large)

TO005	Radial Head Prostheses 	Ti CoCr, Elbow prostheses, consists of Radial	Stem 6.5mm & 8mm Mod Head 	$3,816.00

Stem + Cup.	size 19mm & 22mm

TO006	Bone Plug	UHMWPE - Cement Plug	24mm	$215.00

TO007	HLS Uni Evolution - Uni Knee Replacement - 	Femoral Component - Cemented	1 - 4 CoCr	$2,288.00

Femur

TO008	HLS Noetos Total Knee Replacement - Femur	Femur Cemented	1 - 6 CoCr	$3,580.00

TO009	HLS System Total Knee Prostheses (HLS II)	UHMWPE Patella Component	small, medium, large	$489.00

TO010	Aequalis Shoulder Prostheses Reverse	Ti,CoCr, UHMWPE Reverse Humeral Stem, 	Stem 6.5-15mm dia, 100-210mm 	$13,515.00

Gleno sphere, metaphysis, base plate, insert & 	long. Base plate, sphere,metaphysis

fixation screws	(diameter 36 & 42mm). Insert (dia

36 & 42mm x6,9,12mm high.

Screws dia 4.5 x 18-50mm

TO011	Aequalis Shoulder Prostheses Reverse	CoCr Reverse Humeral Neck	diameter 36 & 42mm wide x 9mm 	$1,827.00

high

Prostheses List by Category and Sponsor	Page 390 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TO012	Tornier Latitude Total Elbow Prosthesis	Humeral Spool, Humeral Stem, Ulnar Stem	Humeral Spool - (Small, Medium, 	$9,925.00

Large) (Anterior, Posterior,

Centered) (Left, Right); Humeral

Stem - (Small, Medium, Large)

(Left, Right); Ulnar Stem - (Small,

Medium, Large) (Left, Right)

TO013	Tornier Latitude Total Elbow Prosthesis	Ulnar Cap	Small, Medium, Large	$1,530.00

TO014	Tornier Latitude Total Elbow Prosthesis	Radial Head, Radial Stem	Radial Head - (Small, Medium, 	$1,980.00

Large); Radial Stem - (Diameter -

5mm, 6.5mm)

TO015	Aequalis Pegged Glenoid USA	Pegged Glenoid Polyethylene (UHMWPE)	Small, Medium, Large, Extra Large	$1,995.00

TO016	HLS Uni Evolution - Uni Knee Replacement - 	Tibial Insert (All Polyethylene) - Cemented	1 - 6 UHMWPE	$1,328.00

Tibia

TO017	HLS Uni Evolution - Uni Knee Replacement - 	Tibial Insert (Polyethylene/Metal Back) - 	1 - 6 UHMWPE, CoCr	$1,591.00

Tibia	Cemented

TO018	HLS Noetos Total Knee Replacement - Femur	Femur Cementless	1 - 6 CoCr	$4,680.00

TO019	HLS Noetos Total Knee Replacement - Tibial 	Tibial Tray, Cemented, fixed & mobile 	1 - 6 CoCr	$2,080.00

Tray	bearing components

TO020	HLS Noetos Total Knee Replacement - Tibial 	UHMWPE	1 - 6, 9,11 & 13mm	$1,120.00

Insert

TO021	HLS Noetos Revision Knee	Femoral Component CoCr	1 to 6 right and left	$3,614.00

TO022	HLS Noetos Revision Knee	Distal Femoral Wedge CoCr	1 to 6 Thickness 4, 8 and 12	$1,507.00

TO023	HLS Noetos Revision Knee	Posterior Femoral Wedge CoCr	5, 7 and 9 degrees 4 and 8 mm thick	$1,507.00

TO024	HLS Noetos Revision Knee System	Stem Adaptor (Femoral Sledge) CoCr	5, 7 and 9 degrees	$1,068.00

TO025	HLS Hoetos Revision Knee	Sleeve stem adaptor (flange piece) CoCr	5, 7 and 9 degrees, right and left	$1,068.00

TO026	HLS Noetos Revision Knee	Tibial Tray CoCr	1 to 5	$3,905.00

TO027	HLS Noetos Knee Revision	Tibial Spacer (including 2 screws) CoCr	1 to 6 thickness 4, 8 and 12mm	$1,708.00

TO028	HLS Noetos Revision Knee	Femoral and Tibial extension stems CoCr	1 to 6 Length 75 and 150mm	$1,560.00

Trans-Pacific Healthcare Pty Ltd

TR001	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	2.5ml	$430.00

TR002	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	5ml	$590.00

TR003	Berkeley Bone Void Filler	Bi-Ostetic/Cem-Ostetic Granules/Blocks	10ml	$1,000.00

TR004	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	2.5-3ml	$860.00

Prostheses List by Category and Sponsor	Page 391 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TR005	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	5ml	$1,230.00

TR006	Berkeley Bone Void Filler	Bone Putty/Injectable Bone Putty	10ml	$2,050.00

Trewavis Surgical Instruments Pty Ltd

TS001	Trewavis Surgical Kirschner Wires	Composition: Stainless Steel, Model No: 200-	Dia 0.7-2.8mm, Length 100-230mm	$11.00	To be funded where any or all K-

000-A to 200-930-K	wires used in a procedure are used as

an implant.

TS002	Trewavis Surgical Steinmann Pins	Composition:  Stainless Steel, Model Nos: 	Dia 3.0 - 5.0mm	$55.00

200 - 950-L to 200-970-Q

W L Gore & Associates

GT054	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6 x 6cm	$472.00

GT055	Preclude Spinal Membrane	ePTFE	0.7mm Thickness 6cm x 12cm	$785.00

William A Cook Aust Pty Ltd

WC135	Vertebroplasty Procedure Pack	Percutaneous Vertebroplasty set with Osteo-	11/13 Gauge 10/15CM M1, M1M, 	$527.00

Site needle and bone cement	M2

WC145	Osteo-Firm	Osteo Bone cement - Osteo Firm	One size only	$170.00

Zimmer

ZI001	Zimmer Acetabular Cup	Roof ring	46 - 60mm	$1,040.00

ZI002	Zimmer Acetabular Cup	Acetabular Cage - Left, right	52, 58, 64mm OD	$1,040.00

ZI003	Coonrad-Morrey Elbow	Ulna - Titanium	Petite, Left, Right	$3,577.00

ZI004	Coonrad-Morrey Elbow	Humerus - Titanium	4, 6, 8 inch, Left & Right	$4,618.00

ZI005	Coonrad-Morrey Elbow	Bushing -  Polyethylene, Titanium	1 & 2	$1,440.00

ZI006	Mayo Hip	Titanium	Small, medium, large and extra 	$4,778.00

large.

ZI008	Zimmer Hip Systems Femoral Stem	Austin Moore - Stainless Steel	Sizes 38 - 60	$615.00	$739.00

ZI009	Zimmer Hip Systems Femoral Stem	CPT Zimaloy - Co Cr	Sizes 1 - 5	$2,315.00

ZI013	Zimmer Hip Systems Femoral Stem	CPT PMMA Centraliser  PMMA	Size 1	$142.00

ZI014	Zimmer Hip Systems Femoral Stem	Epoch - Titanium	14 - 18 mm	$5,096.00

ZI015	Zimmer Hip Systems Femoral Stem	VerSys Cemented - Cobalt Chrome	11 - 17	$2,080.00

ZI016	Zimmer Hip Systems Femoral Stem	VerSys Fiber metal - Titanium	9 - 18	$4,778.00

ZI017	Zimmer Hip Systems Femoral Stem	VerSys Fiber metal HA/TCP - Titanium	9 - 18	$5,096.00

ZI020	Zimmer Hip Systems Femoral Stem	VerSys Proximal Centraliser - PMMA	11 - 17	$100.00

Prostheses List by Category and Sponsor	Page 392 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI021	Zimmer Hip Systems Femoral Stem	VerSys Distal Centraliser - PMMA	10 - 18	$140.00

ZI022	Zimmer Hip Systems Femoral Stem	VerSys Beaded Fullcoat - Cobalt Chrome, 	11 - 20	$4,435.00

Short & Standard

ZI023	Zimmer Hip Systems Femoral Stem	Heritage - Cobalt Chrome	11 - 17	$2,080.00

ZI024	Zimmer Hip Systems Femoral Stem	VerSys Cemented Revision Stem-Modular 	One size only	$572.00

Calcar Block

ZI025	Zimmer Hip Systems Femoral Stem	VerSys CRC Cemented Revision Stem- 	13 - 19	$3,664.00

Standard - Cobalt Chrome

ZI027	Acetabular Cup	Zimmer Cemented Acet. (ZCA) - Polyethylene	47 - 61	$705.00

ZI030	Acetabular Cup	Trilogy Constrained Liner - Polyethylene	50 - 80	$1,481.00

ZI033	Acetabular Cup	Trilogy Oblique Liner - Polyethylene	38 - 62	$613.00	$897.00

ZI034	Acetabular Cup	Trilogy Shell - Titanium	38 - 80	$2,435.00	$2,471.00

ZI035	Acetabular Cup	Trilogy HATCP Shell - Titanium	38 - 80	$2,730.00	$2,771.00

ZI036	Acetabular Cup	Trilogy Bone Screw - Titanium	15 - 60	$230.00

ZI037	Acetabular Cup	Trilogy Liner - Titanium	38 - 80 in 22, 28, 32	$412.00

ZI041	Acetabular Cup	Trilogy AB HA/TCP Cluster Hole Shell - 	38 - 80	$2,730.00	$2,771.00

Titanium

ZI042	Acetabular Cup	Trilogy AB Multi-Hole Shell - Titanium	48 - 70	$2,435.00	$2,471.00

ZI044	Acetabular Cup	Trilogy AB Ceramic Liner - Titanium	48 - 70	$2,533.00

ZI045	Acetabular Cup	Longevity XLPE Polyethylene Liner 7mm 	46 - 70	$1,160.00

Offset

ZI046	Acetabular Cup	Longevity XLPE Polyethylene Liner 20 	38 - 80	$1,160.00

Degree

ZI047	Acetabular Cup	Longevity XLPE Polyethylene Liner 10 	38 - 80	$1,160.00

Degree

ZI048	Acetabular Cup	Longevity XLPE Polyethylene Liner 0 Degree 	38 - 80	$1,160.00

ZI049	Modular Revision Hip System - Proximal 	ZMR Taper System - Titanium	A - F	$5,980.00

ZI050	Modular Revision Hip System - Distal 	ZMR Porous System - Titanium	12.5 - 22.5mm	$3,657.00

ZI051	Femoral Head	Zimaloy - Co Cr	22mm, 28mm, 32mm	$745.00

ZI052	Femoral Head	Zimaloy - Stainless Steel	22mm, 28mm, 32mm	$705.00

Prostheses List by Category and Sponsor	Page 393 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI054	Femoral Head	Endo Head	38 - 63mm	$925.00

ZI055	Ceramic Femoral Head	Ceramic Head 12/14 Taper	28 - 44mm	$1,625.00	$2,080.00

ZI057	NexGen Articulating Surfaces LPS Flex	Polyethylene	Sizes 9 - 23mm	$972.00

ZI058	NexGen Articulating Surface	LPS Mobile Articulating surface Polyethylene	Sizes 9 - 23mm	$1,120.00

ZI061	NexGen Tibial Components Stemmed - Fluted	Titanium	Sizes 1 - 10	$2,796.00

Mobile Option

ZI062	NexGen Flex Femoral Component - Porous 	Cobalt Chrome	Sizes A-G Left & Right	$4,743.00	$4,815.00

HATCP

ZI063	NexGen Flex Femoral Components	Cobalt Chrome	Sizes A - G, Left & Right	$4,680.00	$5,050.00

GSF C to G Left & Right

ZI064	Insall-Burstein II Articulating Surface	CCK - UHMWPE	10 - 25mm	$946.00

ZI065	Insall-Burstein II Articulating Surface	CCK (extra thick) - UHMWPE	30, 35mm	$2,123.00

ZI066	Insall-Burstein II Articulating Surface	PSK - UHMWPE	8 - 25mm	$946.00

ZI067	Insall-Burstein II Augmentation	Distal - TI, Co Cr	5, 10mm	$1,258.00

ZI071	Insall-Burstein II Femoral Component	Patella Button - UHMWPE	32 - 41mm	$483.00	$623.00

ZI072	Insall-Burstein II Femoral Component	Tibial/Femoral Stem - Ti	10 - 24mm	$1,056.00

ZI073	Insall-Burstein II Femoral Component	Tibial Tray - Ti	54 - 74mm	$2,267.00

ZI075	Insall-Burstein II Wedge	Full - Ti	7 - 20mm	$1,654.00

ZI077	Miller Galante I	Articulating Surface - UHMWPE	8 - 22mm	$945.00

ZI079	Miller Galante I	Bone Screw - Ti	20 - 60mm	$135.00

ZI086	Stemmed Tibial Tray:Porous	Ti	A - K	$2,298.00

ZI088	Miller Galante II	Articulating Surface - UHMWPE	9 - 23mm	$1,144.00

ZI089	Miller Galante II	Bone Screw - Ti	20 - 80mm	$177.00

ZI093	Miller Galante II	Patella Button: Poly -UHMWPE	32 - 41mm	$483.00	$623.00

ZI095	Miller Galante II	Stem: Long - Ti	12 - 18mm	$993.00

ZI096	Miller Galante II	Stem: Regular - Ti	12 - 18mm	$525.00

ZI102	Miller Galante II	Stemmed Tibial Tray:Precoat - Ti	A - K	$2,267.00

ZI103	Miller Galante II	Other Tibial Tray:Porous Wedged - Ti	A - K	$2,298.00

ZI104	Miller Galante II	Other Tibial Tray:Porous Flat (revision) - Ti	A - K	$3,276.00

ZI105	Miller Galante  Unicompartmental	Articulating Surface - UHMWPE	8 - 14 mm	$680.00

Prostheses List by Category and Sponsor	Page 394 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI106	Miller Galante  Unicompartmental	Femoral Component - Co Cr	42 - 60 mm	$2,178.00

ZI107	Miller Galante  Unicompartmental	Tibial Tray - Ti	40 - 56 mm	$1,603.00

ZI108	Miller Galante  Unicompartmental	All Poly Tibial Tray - UHMWPE	40 - 56 mm	$1,388.00

ZI109	NexGen Knee Femoral Components CR	Porous - Co Cr	A - H (L&R)	$3,772.00

ZI110	NexGen Knee Femoral Components CR	Porous HA/TCP - Co Cr	A - H (L&R)	$4,000.00	$4,486.00

ZI111	NexGen Knee Femoral Components CR	Precoat - Co Cr	A - H (L&R)	$3,458.00

ZI113	NexGen Knee Femoral Components CRA	Precoat - Co Cr	A - H (L&R)	$7,540.00

ZI115	NexGen Knee Femoral Components PS	Porous - Co Cr	A - H (L&R)	$4,264.00

ZI117	NexGen Knee Femoral Components PS	Precoat - Co Cr	A - H (L&R)	$3,432.00	$4,750.00

ZI119	NexGen Knee Femoral Components PS	Option - Co Cr	A - H (L&R)	$7,280.00

ZI120	NexGen Knee Tibial Components Pegged	Porous - Titanium	1  - 10	$2,298.00

ZI121	NexGen Knee Tibial Components Pegged	Porous HA/TCP - Titanium	1  - 10	$2,700.00

ZI122	NexGen Knee Tibial Components Pegged	Precoat - Titanium	1  - 10	$2,267.00

ZI123	NexGen Knee Tibial Components Stemmed	Porous - Titanium	1  - 10	$2,298.00

ZI124	NexGen Knee Tibial Components Stemmed	Porous HA/TCP - Titanium	1  - 10	$2,700.00

ZI125	NexGen Knee Tibial Components Stemmed	Precoat - Titanium	1  - 10	$2,267.00

ZI126	NexGen Knee Tibial Components Stemmed	Precoat AP Wedge - Ti	1 - 10	$2,267.00

ZI127	NexGen Knee Tibial Components Stemmed	All Poly - Ti	1 - 10	$1,248.00

ZI129	NexGen Knee Tibial Component - Mobile	CoCr Alloy	1 - 10	$2,796.00

ZI130	NexGen Knee Tibial Components Stemmed	Fluted - Ti	1 - 10	$2,267.00

ZI132	NexGen Knee High Tibial Osteotomy System	Plate - Ti	1 - 10	$632.00

ZI133	NexGen Knee High Tibial Osteotomy System	Screw - Ti	4.5 - 10 - 80 mm, 6.5 - 10 - 80 mm	$250.00

ZI134	NexGen Knee Articulating Surfaces	Standard - UHMWPE	9 - 23 mm	$945.00	$1,200.00

ZI135	NexGen Knee Articulating Surfaces	Ant. Constr. - UHMWPE	9 - 23mm	$945.00	$1,200.00

ZI136	NexGen Knee Articulating Surfaces	PS - UHMWPE	9 - 23mm	$972.00

ZI137	NexGen Knee Articulating Surfaces	CCK - UHMWPE	10 - 35mm	$1,258.00

ZI138	NexGen Knee Articulating Surfaces	MBK - UHMWPE	9 - 23mm	$936.00	$1,117.00

ZI139	NexGen Knee Articulating Surfaces	Anatomically Rotated - UHMWPE	9 - 23mm	$1,144.00

ZI140	NexGen Knee Tibial Augments	Half Wedge - Ti	1 - 10	$1,518.00

Prostheses List by Category and Sponsor	Page 395 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI141	NexGen Knee Tibial Augments	Full Wedge - Ti	1 - 10	$1,518.00

ZI142	NexGen Knee Tibial Augments	One Third Wedge - Ti	1 - 10	$1,518.00

ZI143	NexGen Knee Tibial Augments	Half Block - Ti	1 - 10	$1,518.00

ZI144	NexGen Knee Femoral Augments	Dist.,Ant or Post - Ti	A - H	$1,258.00

ZI145	NexGen Knee Femoral Augments	Dist + Post	1 - 10	$1,258.00

ZI146	NexGen Knee Stem Extensions	Titanium	Length - 35 - 155mm, Diameters - 	$1,258.00

10 - 24 mm

ZI147	NexGen Knee Patella Button	TM Porous Patella	26 - 41	$1,144.00

ZI148	NexGen Knee Patella Button	Polyethylene	26 - 41	$520.00	$614.00

ZI149	Periarticular Plates	Periarticular 6.5mm Cancellous Screws - 	16mm Thread - 35-90mm Long, 	$159.00

Stainless Steel	32mm Thread - 45-90mm Long,

Fully Threaded - 25-90mm Long

ZI150	Periarticular Plates	Periarticular 4.0mm Cancellous Screws - 	Part thread - 30-60 mm, Full thread 	$105.00

Stainless Steel	30-110 mm

ZI151	Periarticular Plates	Periarticular 4.5mm Self Tapping Screws - 	26 - 90mm	$125.00

Stainless Steel

ZI152	Periarticular Plates	Periarticular 3.5mm Self Tapping Screws - 	10 - 80mm	$136.00

Stainless Steel

ZI153	Periarticular Plates	Periarticular Tibial Plateau Plates - Stainless 	2 holes - 14 holes Left & Right	$1,219.00

Steel

ZI154	Periarticular Plates	Periarticular Femoral Condylar Plates - 	4 holes - 18 holes Left & Right	$1,211.00

Stainless Steel

ZI157	Zimmer Internal Fixation Systems: 	Freelock/Versa-fx tube plate - Stainless Steel	2 holes - 20 holes	$695.00

Compression Hip Screw

ZI158	Zimmer Internal Fixation Systems: 	Freelock/Versa-fx lag screw - Stainless Steel	50 mm - 150 mm long	$247.00

Compression Hip Screw

ZI161	Zimmer Internal Fixation Systems: Cable 	Cable-Ready Stainless Steel	1.3 mm	$330.00

System

ZI163	Zimmer Internal Fixation Systems: Cable 	Cable-Ready Plate Cable Stainless Steel	610 mm long	$367.00

System

ZI164	Zimmer Internal Fixation Systems: Cable 	Cable-Ready GTR Distal end Cable - Cobalt 	635 mm long	$450.00

System	Chrome

ZI167	Zimmer Internal Fixation Systems: Cable 	Cable-Ready 6 Hole Plate - Stainless Steel	187mm long	$660.00

System

Prostheses List by Category and Sponsor	Page 396 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI168	Zimmer Internal Fixation Systems: Cable 	Cable-Ready 8 Hole Plate - Stainless Steel	246mm long	$710.00

System

ZI169	Zimmer Internal Fixation Systems: Cable 	Cable-Ready 10 Hole Plate - Stainless Steel	305mm long	$790.00

System

ZI170	Zimmer Internal Fixation Systems: Cable 	Cable-Ready Pin - Stainless Steel	35, 40, 45, 65mm long	$645.00

System

ZI173	Zimmer Internal Fixation Systems: Cable 	Cable-Ready GTR Cable - Proximal 	635mm long	$505.00

System

ZI174	Zimmer Internal Fixation Systems: Cable 	Cable-Ready Stainless Steel Cable	1.8mm	$407.00

System

ZI176	Zimmer Internal Fixation Systems: Cannulated	Magna-FX - Stainless Steel	16 mm Thread - 30-30 mm; 32 mm	$205.00

Screw	 Thread - 40-120 mm; Fully

Threaded - 30-130 mm Long

ZI177	Zimmer Internal Fixation Systems: Cannulated	Mini Magna-FX - Stainless Steel	4 & 5mm diameters	$216.00

Screw

ZI178	Zimmer Internal Fixation Systems: Herbert 	Scaphiod - Titanium	Scaphoid - 12 - 30mm length	$360.00

Bone Screw

ZI179	Zimmer Internal Fixation Systems: Herbert 	Herbert/Whipple - Titanium	12 mm - 30 mm	$420.00

Bone Screw

ZI180	Zimmer Internal Fixation Systems: Herbert 	Cannulated 4.5mm - Titanium	30 - 70mm	$450.00

Bone Screw

ZI181	Zimmer Internal Fixation Systems: Herbert 	Cannulated 6.5mm - Titanium	25 mm - 100mm	$490.00

Bone Screw

ZI182	Zimmer Internal Fixation Systems: Soft 	Statak/Mini-Statak - Suture, Stainless Steel	2, 5 mm - 5, 0mm	$240.00

Tissue Re-attachment Device

ZI188	Zimmer Bone Cement Systems	Poly Medullary Plug - PMMA	8 - 23 mm	$120.00

ZI192	Bone Graft Substitute	Triosite Granules (0.5 - 1.0 mm grain sizes)- 	1 g Tube	$260.00

HATCP

ZI193	Bone Graft Substitute	Triosite Granules (2 - 3mm grain size) - 	5g Tube	$670.00

HATCP

ZI194	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 4 - 	10mm	$130.00

HATCP

ZI195	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 4 - 	20mm	$185.00

HATCP

Prostheses List by Category and Sponsor	Page 397 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI196	Bone Graft Substitute	Triosite Block 5 x 5 x 10mm Box of 2 - 	10mm	$182.00

HATCP

ZI197	Bone Graft Substitute	Triosite Block 5 x 5 x 20mm Box of 2 - 	20mm	$247.00

HATCP

ZI198	Bone Graft Substitute	Triosite Oesteotomy Wedges - HATCP	6 - 12mm	$745.00

ZI199	Zimmer ECT Screws	1.5mm Cortical Screws	6 - 18mm	$54.00

ZI200	Zimmer ECT Screws	2.0mm Cortical Screws	6 - 24mm	$52.00

ZI201	Zimmer ECT Screws	2.7mm Cortical Screws	6 - 50mm	$54.00

ZI202	Zimmer ECT Screws	3.5mm Cortical Screws	10 - 130 mm	$60.00

ZI203	Zimmer ECT Screws	4.0mm Cancellous Screws	10 - 60 mm	$80.00

ZI204	Zimmer ECT Screws	4.5mm Cortical Screws	14 - 120mm	$67.00

ZI205	Zimmer ECT Screws	4.5mm Self tapping Cortical Screws	14 - 70mm	$70.00

ZI206	Zimmer ECT Screws	4.5 Malleo Screw	25 - 70mm	$65.00

ZI207	Zimmer ECT Screws	6.5mm Cancellous Screws	25 - 110mm	$125.00

ZI209	ZPS	Nut	Small & Large	$40.00

ZI210	ZPS	Washer/Spiked washer	Small & Large	$43.00

ZI211	ZPS	1/3 Tube Plate	3 - 8 Hole	$46.00

ZI212	ZPS	Small Narrow Plate	3 - 8 Hole	$113.00

ZI214	ZPS	Mini Plates	3 - 8 Hole	$153.00

ZI215	ZPS	Small SCP plate	3 - 12 Hole	$113.00

ZI216	ZPS	SCP Forearm plate	4 - 12 Hole	$113.00

ZI217	ZPS	Buttress Plate	4 - 6 Hole	$355.00

ZI218	ZPS	Spoon Plates	5 - 6 Hole	$243.00

ZI219	ZPS	T Plate	68 - 147mm	$248.00

ZI220	ZPS	Cloverleaf plates	88 - 104mm	$227.00

ZI222	ZPS	Epiphysis plate	2 - 6 Hole	$113.00

ZI223	ZPS	1/4 Tubular Plate	3  - 8 Hole	$264.00

ZI224	ZPS	Narrow Plate	2 - 12 Hole	$243.00

ZI225	ZPS	Broad Plate	5 - 14 Hole	$449.00

ZI226	Zimmer Bone Plug	Allen Medullary Plug	8 - 23mm	$120.00

Prostheses List by Category and Sponsor	Page 398 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI227	ZPS	3.5mm Straight Recon Plates	6 Hole	$801.00

ZI228	ZPS	3.5mm Curved Recon Plates	6 Hole	$857.00

ZI230	ZPS	4.5mm Straight Recon Plate	6 Hole	$880.00

ZI231	ZPS	Recon Bridge Plate	4 Hole	$950.00

ZI232	Palacos "R" bone cement	Single mix PMMA	40g	$174.00

ZI234	Cable System 	Cable Ready, Cable Button	2,5mm - 5,0mm	$183.00

ZI236	Intramedullary Nails 	End Caps - Stainless Steel	0 - 15mm	$123.00

ZI237	Intramedullary Nails 	Humeral Nail - Stainless Steel	6 - 13mm	$854.00

ZI238	Intramedullary Nails 	Retrograde Nail - Stainless Steel	9 - 14mm	$854.00

ZI239	Intramedullary Nails 	Tibial Nails - Stainless Steel	6 - 15mm	$635.00

ZI240	Intramedullary Nails 	Femoral/Recon Nails - Stainless Steel	8 - 16mm	$733.00

ZI242	Intramedullary Nails 	Nuts - Stainless Steel	6.5 mm	$55.00

ZI243	Periarticular Plates	Stainless Steel	2 - 20 Hole	$974.00

ZI249	Trabecular Metal Primary	Acetabular cups - elliptical Primary	22 and 28mm diameter	$3,120.00	$3,166.00

ZI265	Continuum hip system	Hedrocel AVN Rod	3mm - 12mm block	$3,208.00

ZI266	Continuum knee system	Hedrocel augment - patella prosthesis	Small, medium, large and x-large	$3,216.00

ZI270	Hedrocel block	Hedrocel tantulum	2 x 4 x 4mm	$3,833.00

ZI271	Hedrocel button	Hedrocel tantulum	Small and medium x 10mm thick	$1,352.00

ZI272	Hedrocel cylinder	Hedrocel tantulum	10mm long	$2,787.00

ZI273	Hedrocel half tube	Hedrocel tantulum	10mm long	$2,787.00

ZI274	Hedrocel Bone Grafts	Trabecular Metal (Porous Tantalum)	3.2 - 5.7mm diameter; 36 - 48mm 	$235.00

long

ZI276	Hedrocel strut	Hedrocel tantulum	10mm long	$4,264.00

ZI279	Washer system	Hedrocel tantulum	12mm x 15mm	$742.00

ZI286	Zimmer Acetabular Cup	Multipolar (Bipolar) Cup-Co Chr 	Outer Diameter 38 - 72mm, Inner 	$804.00

W/WHMWPE	Diameter 22,28, or 32mm

ZI289	Bigliani Shoulder System	Cobalt Chrome	Lengths 130 - 200mm, Thickness 6 	$3,026.00

- 16mm

ZI290	Cable Ready Cable Grip System	Titanium - comes with two cables (Co Cr), 	23 x 53mm, 1.8 x 635mm	$1,736.00

Integral Crimps

Prostheses List by Category and Sponsor	Page 399 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI291	NexGen Prolong Flex Articulating Surface	Highly Crosslinked - Ultra High Molecular 	Sizes A to G	$1,200.00

Weight Polyethylene Mobile & Fixed Bearing	9mm to 20mm

- CR & LPS

ZI293	Zimmer Wires	Stainless Steel	Length 23cm, Thickness 2mm, 0-	$11.00	To be funded where any or all K-

4mm, 8mm	wires used in a procedure are used as

an implant.

ZI294	Zimmer Wires	Stainless Steel	Length 7, 6cm - 23cm, Thickness 	$11.00	To be funded where any or all K-

0mm, 7mm - 2mm, 0mm	wires used in a procedure are used as

an implant.

ZI295	NexGen TM Monoblock Tibial Component	Trabecular Meta (Tantalum) and Ultrahigh 	Sizes 3 - 8, Height 10mm - 17mm	$4,358.00

Molecular Weight Polyethylene

ZI296	VerSys Hip System Femoral Stems	Anatomic II stem	Sizes 9 - 19	$4,680.00

ZI297	Cable Ready Cable Grip System	Titanium	5 hole GTR with 4 cables	$4,050.00

ZI298	Cable Ready Cable Grip System	Titanium	2 hole GTR with 4 cables	$2,600.00

ZI299	Cable Ready Cable Grip System	Titanium	4 hole GTR with 4 cables	$3,750.00

ZI300	Bigliani Shoulder System	Bigliani-Flatow Shoulder - Heads (Cobalt 	40, 46, 52, 52mm diameters	$843.00

chrome)

ZI301	CPT Hip System	CPT hip stem - extra long	Sizes 1 - 4	$3,550.00

ZI302	VerSys Hip System Femoral Stems	Minimally invasive hip stem	Sizes 9 - 19	$4,680.00

ZI304	Bigliani Shoulder System	Bigliani-Flatow shoulder - Glenoid 	40, 46 and 52mm diameters	$2,320.00

(UHMWPE)

ZI305	Nexgen Rotating Hinge Femur	Cobalt chrome femoral component for rotating 	B-F	$15,076.00

hinge knee, available left to right

ZI307	Nexgen Rotating Hinge Articulating Surface	Ultra high molecular weight polyethylene 	12-26mm, sizes B-F	$1,565.00

articulating tibial insert

ZI308	Nexgen Rotating Hinge Tibia	Cobalt chrome rotating platform tibial plate	1-6	$3,068.00

ZI309	Nexgen Rotating Hinge Replacement Hinge	Rotating hinge replacement bushing for hinge	B-F	$4,722.00

ZI311	Spacer-G	Temporary implantable device for the treatment	Short Stems,  Head size 46mm, 	$2,025.00

of infected total hip replacement, Composition	54mm, 60mm

- stainless steel core surrounded by PMMA

impregnated with Gentamicin

ZI312	Spacer-G	Temporary implantable device for the treatment	Long Stems, Head size 46mm, 	$2,530.00

of infected total hip replacement, Composition	54mm, 60mm

- stainless steel core surrounded by PMMA

impregnated with Gentamicin

Prostheses List by Category and Sponsor	Page 400 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI313	Spacer-K	Temporary implantable device for the treatment	Small, Medium, Large	$2,079.00

of infected total knee replacement,

Composition - stainless steel core surrounded

by PMMA impregnated with Gentamicin

ZI314	ZCA All Poly Acetabular Cup - XLPE	Highly crosslinked ultra high molecular weight	22, 26, 28 & 32 mm heads; 47-	$936.00	$1,794.00

polyethylene	61mm diameter; flanged and non-

flanged

ZI315	Trilogy Acetabular System - Longevity 	Highly crosslinked ultrahigh molecular weight 	22 + 28 + 32 Head Diameters; 38 - 	$1,160.00

Eccentric	polyethylene	80mm Outer Diameters

ZI317	Trilogy Acetabular System - Longevity Oblique	Highly crosslinked ultrahigh molecular weight 	22 + 28 + 32 Head Diameters; 38 - 	$1,160.00

polyethylene	80mm Outer Diameters

ZI318	Trilogy Acetabular System - Longevity 	Highly crosslinked ultrahigh molecular weight 	22 + 28 + 32 Head Diameters; 38 - 	$1,761.00	$2,131.00

Constrained	polyethylene	80mm Outer Diameters

ZI319	Bigliani Flatow Total Shoulder System - 	Trabecular Metal Backed Glenoid 	Diameter 40 - 52mm	$4,088.00

Glenoids	(uncemented)

ZI320	ITST Intramedullary Nails	Stainless Steel Intertrochanteric Nailing System	Diameter 10 - 14mm; Length 18 - 	$665.00

50cm

ZI321	Intramedullary Nail Caps	Stainless Steel Intertrochanteric Nailing System	Diameter 0 - 20mm	$110.00

ZI322	ITST Intramedullary Nailing System - Lag 	Stainless Steel Intertrochanteric Nailing System	Diameter 11mm: Length 70mm - 	$205.00

screw	120mm

ZI323	Zimmer Wires	Stainless Steel Rushpins	Diameter 2.4 - 6.4mm; Length 2.5 -	$206.00

52.7cm

ZI325	Trabecular Metal Modular Acetabular System	Porous Tantalum Modular Shell	38-80mm diameter; Cluster, 	$3,346.00

Multiholed, No Holes

ZI326	Bigliani/Flatow Trabecular Metal Humeral 	Porous Tantulum Humeral Stem	6mm-19mm diameter	$5,169.00

Shoulder

ZI327	M/L Taper Femoral Stem	Cobalt/Chrome, beaded tapered stem	9mm - 18mm in 1mm increments, 	$4,680.00

10 sizes in all

ZI328	Coonrad/Morrey Elbow Cement Restrictor	PMMA/Plastic	Extra Small, Small, Regular	$318.00

ZI329	CPT Impaction Grafting Mesh	Titanium Femoral or acetabular mesh	6 sizes acetabular rim (small and 	$3,367.00

large), medial wall (small and large),

flat and femoral meshes

ZI331	Zimmer Periarticular Locking Plates	Periarticular Locking Plating System	Various lengths and numbers of holes	$1,400.00

Prostheses List by Category and Sponsor	Page 401 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI336	Polypin Resorbable Bone Pin	Polylactide	1.5, 2.0, 2.7mm	$246.00

ZI337	Natural Hip System	Femoral Stem, CoCr	140 - 160mm	$2,080.00

ZI338	Natural Hip System	Femoral Stem Porous, Titanium	140 - 160mm	$3,588.00

ZI339	Press Fit - Uncemented Metasal Cup	Protek, Metal alloy/PE	48 - 64mm	$4,680.00

ZI342	GSB Cemented Elbow	GSB Humerus - CoCr alloy/PE	76,86,86L  	$4,673.00

ZI343	GSB Cemented Elbow	GSB Humeral Medullary Plug - PE	One size only	$173.00

ZI344	GSB Cemented Elbow	GSB Ulna Component - CoCr alloy	12/71,12/61,16/71,16/61	$1,313.00

ZI345	GSB Cemented Elbow	GSB Washer - PE	2/12,4/12,6/12,2/16,4/16,6/16 	$138.00

ZI346	Ceramic Femoral head for hip prosthesis 	Femoral Head - Biolox Ceramic	28 to 32mm	$1,685.00

ZI347	Femoral Head	Femoral Head - Unipolar - CoCr alloy / PE	42 to 60 	$988.00	$1,133.00

ZI349	Thrust Plate Prosthesis	Allopro Thrust Plate - Ti alloy	38 to 44mm	$1,773.00

ZI350	Thrust Plate Prosthesis	Allopro Lateral Plate - Ti alloy	Std & Long (15 & 25 deg)	$1,450.00

ZI351	Thrust Plate Prosthesis	Allopro Threaded bolt - CoCr alloy	70 to 89mm	$1,177.00

ZI352	Thrust Plate Prosthesis	Allopro Cortical Screw - SS	36, 60mm	$225.00

ZI353	Allofit Cup	Allopro/Allofit Finned Cup - Titanium alloy	46 - 68mm	$2,397.00	$2,433.00

ZI354	Alpha Cerasul Insert	Cerasul Acetabular Cups Inserts - Ceramic / 	52 to 70mm 	$2,533.00

PE

ZI355	Cerasul - Ceramic	Ceramic Femoral Head	28mm 	$2,055.00

ZI356	Medullary Plug, MS 30	Centring Plug, cement restrictor, hip - PE	1 to 7	$145.00

ZI357	Alpha Durasul Insert	Durasul Acetabular Cup Inserts  - Special 	22mm x 42 to 28mm x 68	$1,160.00

UHMWPE

ZI358	Durasul Ballhead for Inserts	Femoral Metal Ball Head  - CoCr alloy	22, 28, 32	$745.00	$981.00

ZI359	Durasul Ballhead for Inserts	Femoral Metal Ball Head  - CoCr alloy	34 - 38mm	$988.00	$1,003.00

ZI360	Converge	Durasul Insert - Special UHMWPE	22/39 to 38/81mm 	$1,160.00

ZI362	Natural Hip System	Eccentric Ball Heads -  CoCr alloy	28/14 (S,M,L)	$995.00	$1,267.00

ZI364	Natural Hip System	Femoral Head Chrome Cobalt alloy	22 to 32mm	$745.00	$981.00

ZI365	Natural Hip System	Femoral Stem CSTi / HA / Ti alloy, high 	00 to 7	$4,708.00

offset

ZI366	Natural Hip System	Distal Centraliser - PE	10 to 19	$245.00

ZI367	Armour Cup	Armor Cup P/E Insert	22 to 32mm, FF to 66QU	$613.00

Prostheses List by Category and Sponsor	Page 402 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI368	Apollo Hip System	Apollo Hooded Cement Acetabular Cup - PE	28/46mm to 28/62mm	$572.00	$813.00

ZI370	Cancellous Screws	Orthopaedic Screws - Ti alloy	20 to 60	$148.00

ZI371	Lor Acetabular Cup 	Oblong Revision Shell, cementless - Ti alloy	52/58 to 72/84	$3,952.00

ZI372	Lor Acetabular Cup 	P/E Insert	28, 32	$1,226.00

ZI373	MS-30 Hip prosthesis	Cemented Stem:MS-30 (Protek) - metal alloys	6 to 16	$1,923.00

ZI374	MS-30 Hip prosthesis 	Centralizer for Cemented Stems (Protek) - 	8 to 18	$145.00

metal alloys

ZI376	Cone Hip prosthesis	Uncemented Stems - Cone - Ti alloy	13 to 24mm	$3,573.00

ZI377	Wagner Revision Hip Prosthesis	Uncemented Stem Wagner Revision - Ti alloy	190/14 to 385/25	$5,408.00	$5,805.00

ZI378	PFM Hip series	Uncemented Stem -PFM Revision (Proximal 	55 to  85 	$3,657.00

Section) - Ti/CoCr alloy

ZI379	PFM Hip series	Uncemented Stems, PFM Revision (Distal 	140 to 260 x 14 to 24	$3,657.00

Section) - Ti alloy

ZI380	Femoral Head	Head - Metal (Zweymuller Allopro) - CoCr	22mm, 28mm, 32mm	$745.00	$981.00

ZI381	Ceramic Head - Sulox	Head - Ceramic	22 to 32mm	$1,000.00

ZI382	Femoral Head	Head - Metasul - special metal alloy	28 to 40mm alloy	$1,794.00

ZI383	MS30 Hip - Cups Cemented	Low Profile with Metasul - PE with special 	38 to 58mm 	$2,354.00

metal alloy

ZI384	MS30 Hip - Cups Cemented	Low Profile - PE	22/36 to 32/64	$501.00

ZI385	CLS, CLW Prosthesis - Cups	Uncemented Cup for CLS & CLW - Ti alloy	46 to 62mm	$2,332.00

ZI386	Fitmore Cup	Uncemented Cup - Fitmore - Ti alloy	42 to 68mm	$2,435.00	$2,471.00

ZI387	Press Fit - Uncemented Cup	Uncemented Press fit Cup - PE / Ti alloy	22/40 to 32/64mm	$2,355.00

ZI388	Inserts for Cups	PE (CLS, CLW, Fitmore, Allofit)	22, 28, 32mm Size 46 to 62	$613.00

ZI389	Inserts for Cups - Metasul	Uncemented Cup Inserts for CLS, CLW, 	28mm	$2,354.00

Fitmore, Allofit, PE / CoCr - special Metasul

alloy

ZI390	Acetabular Reinforcement	Roof Ring - Ti alloy	44 to 58mm	$1,040.00

ZI391	Acetabular Reinforcement	Roof Ring with Hook - Ti alloy	36/23 to 64/23mm	$1,040.00

ZI392	Acetabular Reinforcement	Protrusio Cage - Ti alloy	44 to 50mm (left and right)	$1,040.00

ZI393	Variall Screw Cup System	Durasul Insert - special UHMWPE	II28 to NN28mm	$1,160.00

ZI394	Variall Screw Cup System	Cerasul Insert - Ceramic	II28 to NN28mm	$2,533.00

Prostheses List by Category and Sponsor	Page 403 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI395	Variall Screw Cup System	Metasul Insert - special metal alloy	II28 to NN28mm	$2,354.00

ZI396	Variall Screw Cup System	Titanium Shell - Ti alloy	46 to 62mm	$2,355.00

ZI397	Variall Screw Cup System	Variall Stem - Ti alloy	sizes 0 to 11,	$3,404.00

ZI398	High Tibia Osteotomy	High Tibia Osteotomy - Ti alloy	L shaped steel alloy plate;  Standard	$964.00

& Long

ZI399	Cancellous Screws	Screws- Cancell - Ti alloy	6.5/15 to 6.5/70mm	$142.00

ZI400	Cortical Screws	Screws- Cortical - Ti alloy	4.5/30 to 60mm	$142.00

ZI401	Allegretto Unicompartmental Knee	Femur - CoCr alloy	Size 1 to 3, Size 1+ to 3+	$2,560.00

ZI402	Allegretto Unicompartmental Knee	Tibia Allpoly - PE	9/38 to 15/48mm	$1,248.00	$1,399.00

ZI403	Allegretto Unicompartmental Knee	Tibial Baseplate Monoblock - Ti alloy / PE	7.5/38 to 15/48mm	$1,991.00

ZI404	Natural Knee System	Tibial Spacers - special metal alloy	4 to 8mm  Size 00 to 5	$1,066.00	Also grouped in Knee Group 10

ZI406	Natural Knee	Tibial Spacer Screw - Ti alloy	One size only	$250.00

ZI407	Natural Knee	Tibial Spacer Peg - Ti alloy	One size only	$250.00

ZI408	Natural Knee	PE Insert Mobile Bearing 	00 to 22mm	$1,117.00

ZI409	Natural Knee	PE Tibial Baseplate Insert - P.S.	00 to 22mm	$972.00

ZI410	Natural Knee	PE Tibial Baseplate Insert - Congruent	00 to 22mm	$945.00	$1,200.00

ZI411	Natural Knee	PE Tibial Baseplate Insert - Ultra Congruent	9 to 22mm	$1,144.00	$1,200.00

ZI412	Natural Knee	Primary Tibial Baseplate with Stem Porous - 	Size 00 to 5	$2,298.00	Also grouped in Knee Group 11

Ti alloy

ZI413	Natural Knee	Primary Tibial Baseplate -with Stem 	Size 00 to 5	$2,244.00

Cemented - Ti alloy

ZI414	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$2,602.00

Porous - CoCr alloy

ZI415	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$2,456.00

Non Porous - CoCr alloy

ZI416	Natural Knee	Revision -Tibial Baseplate - Ti alloy	0 to 5	$3,406.00

ZI417	Natural Knee	Revision -Tibial Stem - Ti alloy	60 to 215mm	$1,664.00

ZI418	Natural Knee	Primary Femur - Porous - Ti/CoCr alloy	Size 00 to 5	$3,772.00

ZI419	Natural Knee	Primary Femur - Porous P.S. - Ti/CoCr alloy	Size 00 to 5	$3,727.00	$4,645.00

ZI420	Natural Knee	Primary Femur - Cemented - CoCr alloy	Size 00 to 5	$3,260.00

ZI421	Natural Knee	Primary Femur - Cemented P.S. - CoCr alloy	Size 00 to 5	$3,116.00	$3,483.00

Prostheses List by Category and Sponsor	Page 404 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI422	Natural Knee	Femoral Spacer Lug - Ti alloy	4 to 12mm	$5,330.00

ZI423	Natural Knee	Revision - Femur Porous -Ti/CoCr alloy	Size 00 to 4 (left & right), 	$5,330.00

ZI424	Natural Knee	Revision - Femur Stem, Ti alloy	10.5mm/125mm to 	$3,058.00

ZI425	Natural Knee	Revision - Femoral Spacers Non Porous - 	Size 0 to 4	$2,142.00

metal alloy

ZI426	Natural Knee	Femoral Stem Screw - metal alloy	One size only	$302.00

ZI427	Natural Knee	Revision Posterior Stabilising Bar - CoCr 	One size only	$302.00

alloy

ZI428	Natural Knee	Unicompartmental - Femur  - Ti/CoCr alloy	Size 1 to 7	$2,194.00

ZI429	Natural Knee	Unicompartmental - Tibia PE Insert	1,2 x 9mm to 5,6 x 13mm	$680.00	$792.00

ZI430	Natural Knee	Unicompartmental -Tibia Baseplate - Ti alloy	Por 1 to Por 6	$1,662.00

ZI431	Natural Knee	Patella -Metal Back - PE / Ti alloy	Size 0 to 3	$528.00

ZI432	Natural Knee	Patella -PE	Size 0/7mm to 3/10 mm	$483.00	$614.00

ZI434	SAL Knee	PE Insert - Mobile Bearing	Mobile Bearing - 0/1 to E/16	$936.00	$1,117.00

ZI435	SAL Knee	Tibial Baseplate - CoCr alloy	60/AOA to 92/E	$2,305.00

ZI440	Anatomical	Glenoid - PE	S, M, L	$1,459.00

ZI441	Select Shoulder	Humeral Head Eccentric - CoCr alloy	44/19 to 56/32 	$1,747.00

ZI442	Select Shoulder	Glenoid - PE	S, M, L, XL 	$920.00

ZI443	Select Shoulder	Stem - Ti alloy	7mm Short to 14.5mm	$3,770.00

ZI444	BiPolar Head	Humeral Head used with Select Shoulder 	26/42 to 26/60	$1,401.00

Humeral Stem - CoCr alloy/ PE

ZI445	Intermedics Select Shoulder	UniPolar Head  -metal alloy	40 x 16mm to 56 x 32mm	$1,148.00

ZI446	Intermedics Select Shoulder	Long Stem - Ti alloy	7 to 14.5mm	$3,550.00

ZI447	Bioresorbable Screw	Polylactide	One size only	$260.00

ZI448	Cannulated Screw	Ti alloy	One size only	$145.00

ZI450	Natural Knee PE Insert	Highly crossed linked Durasul PE	One size only	$1,144.00	$1,550.00

ZI451	Allofit screw hole plugs	Sterile, 7 per set	One size only	$52.00

ZI454	Natural Knee Patella	Titanium metal backed, Durasul UHMWPE	0-3	$528.00	$1,135.00

ZI459	Collagen Meniscus Implant	Porous collagen-glycosaminoglcan matrix	7.5mm, 9mm	$5,000.00

Prostheses List by Category and Sponsor	Page 405 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI462	Alloclassic Hip Stem	High Offset, Ti alloy, Short Cone, Slender Neck	1 - 14	$4,202.00

ZI463	Alloclassic Hip Stem	Zweymuller, Ti alloy, Short Cone, Slender 	01, 0, 1, 10-13	$4,202.00

Neck

ZI464	GSB Elbow	Ulna Extension	One size only	$1,339.00

ZI465	GSB Elbow	Special Bushing for Humerous	Length 76 - 86mm	$1,650.00

ZI466	Durom	Resurfacing System - Special Femoral 	A - V	$3,307.00	$3,483.00

Component, Metasul alloy

ZI467	Durom	Resurfacing System - Special Acetabular Cup, 	A - V	$5,084.00	$6,189.00

Metasul/Ti alloy

ZI468	CLS Cementless Hip	Varus Stem, Ti alloy	5 - 20	$4,202.00

ZI471	NCB-Femur Plate System Complete	Complete with all locking screws, gap insert, 	Plate size 167 to 324 mm long	$2,000.00

spacers. Special Titanium alloy.

ZI472	Durom Resurfacing System - Ballhead	Forged CoCr alloy	A1 to L1	$2,392.00

ZI473	APR Conversion Ring	Titanium	39 to 71	$906.00

ZI474	Durom Hip Resurfacing System - Adaptor 	Forged CoCr allo	A1 to L1	$126.00

Sleeves

ZI484	Wristore	Disposable External Fixation device for the 	Wristore Pack	$998.00	Temporary approval, pending review

treatment of distal radial fractures.	of product group

ZI485	Trabecular Metal Cone	Trabecular Metal Tibial void filling cone	Full and Stepped Cone	$4,000.00

ZI486	Zimmer Periarticular Locking Screws	Stainless Steel Periarticular Locking screws to 	2.4mm, 2.7mm, 3.5mm, 4.5mm, 	$170.00

accompany Periarticular Locking Plates	5.5mm, and 8mm to 60mm in 2mm

increments and 60mm to 100mm in

5mm increments.

ZI488	Silhouette Transverse Connector Insert	Titanium	one size only	$158.00

ZI490	Revitan Modular Proximal Body	Grit Blasted Titanium Proximal Body for 	55, 65, 75, 85, 95 and 105mm 	$4,368.00

Modular Revision Stem	heights

ZI491	Trabecular Metal Acetabular Revision System 	Highly cross-linked (Longevity) PE Liners 	28mm x 48mm-80mm - 0deg & 	$1,144.00

Liner	(various)	10deg; 32mm x 54-80mm - 0deg &

10 deg; 36mm x 58mm-80mm -

0deg & 10deg; 40mm x 62-80mm -

0deg & 10 deg

ZI492	Trabecular Metal Femoral Stem	Trabecular metal (fully porous tantalum) coated	Sizes 9 to 18 with standard and 	$5,044.00	$5,119.00

tapered femoral stem	extended offsets

Prostheses List by Category and Sponsor	Page 406 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI493	M/L Taper HA/TCP Coated Stem	Plasma sprayed titanium femoral stem	Sizes 5 to 22 with standard and 	$5,044.00

extended offsets

ZI494	Zimmer Uni-Compartmental High Flex Knee	Femoral Component - Cobalt Chrome	Sizes A to G	$2,178.00

ZI495	Zimmer Anatomic II with HA/TCP	Anatomic titanium stem with HA coating	Sizes 1 - 12, left and right	$5,044.00

ZI496	Revitan Modular Straight Stem	Grit blasted titanium long stem for revision 	14mm diameter x 140mm long to 	$4,316.00

with CoCr junction	24mm diameter x 260mm long

ZI497	Zimmer Hip Systems Femoral Stem	VerSys Beaded Fullcoat - Cobalt Chrome, Long	11 - 20	$4,849.00

ZI498	Femoral Head	Zimaloy - Stainless Steel	36mm, 40mm	$705.00

ZI499	Femoral Head	Zimaloy - Co Cr	36mm, 40mm	$745.00

ZI500	Femoral Head	Head - Metal (Zweymuller Allopro) - CoCr	36mm, 38mm	$981.00

ZI502	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$1,900.00

Non Porous - CoCr alloy

ZI503	Natural Knee	Primary Tibial Baseplate - Mobile Bearing 	Size 00 to 5	$2,005.00

Non Porous - CoCr alloy

ZI504	Natural Knee	Revision - Femoral Spacers Non Porous - 	Size 0 to 4	$2,142.00

metal alloy

ZI510	Optima Spinal System - Transverse Link 	Small, Medium, Large	$936.00

Assembly

ZI511	Optima Spinal System - Set Screw	One size only	$312.00

ZI512	Optima Spinal System - Rod	Dia 5-7mm, length 40-400mm	$513.00

ZI513	Optima Spinal System - Monoaxial Pedicle 	Dia 4-8mm, length 20-60mm	$936.00

Screw System

ZI514	Optima Spinal System - Polyaxial Pedicle 	Dia 4-8mm, length 20-60mm	$1,300.00

Screw System

ZI515	NexGen Prolong CR Mobile Bearing 	NexGen Prolong CR Mobile Bearing 	Sizes A - G 9mm to 20mm	$1,117.00

Articulating Surface	Aticulating Surface

ZI516	Trabecular Metal Femoral Cone Augments	Trabecular Metal Femoral Void Filling 	Small, Medium, Large	$6,000.00	$8,395.00

Augment

ZI520	Alloclassic Zweymuller Hip Stem HA Coated	Ti Alloy, Short Cone, Slender Neck, HA 	1 - 12	$4,420.00

Coated

ZI521	NexGen LPS Prolong Articulating Surface	NexGen LPS Prolong Aticulating Surface	Sizes A - G, 9mm to 20mm	$972.00	$1,117.00

Prostheses List by Category and Sponsor	Page 407 of 549

ORTHOPAEDIC

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ZI522	SIRUS Nail	Sirus Tibial Nail	8, 9, 10mm diam x 240 to 420mm 	$1,050.00

in 14mm increments

ZI523	SIRUS Nail	Sirus Femoral Nail	9, 10, 11, 12, 13mm diam x 300 to 	$1,050.00

480mm in 20mm increments

ZI524	SIRUS Nail	Sirus Locking Screws	3.9, 4.9mm x 24 to 100mm	$138.00

ZI525	SIRUS Nail	Sirus Cervical Screws	6.5mm diam x 60 to 140mm in 	$219.00

5mm increments

ZI526	SIRUS Nail	Sirus End Cap	5-25mm length in 5mm increments	$200.00

ZI528	Zimmer Trabecular Metal Reverse Shoulder 	Trabecular Metal Humeral Stem Titanium 	12mm x 130mm; 12mm x 170mm; 	$3,799.00	$5,000.00

System	Alloy and Tantalum	14mm x 130mm

ZI529	Zimmer Trabecular Metal Reverse Shoulder 	Polyethylene Liner	Standard 7 Deg. & Retentive 65 	$1,100.00

System	Deg; 36mm - Neutral, Plus 3mm,

Plus 6mm; 40mm - Neutral, Plus

3mm, Plus 6mm

ZI530	Zimmer Trabecular Metal Reverse Shoulder 	Spacer	9mm, 12mm Taper Insert	$1,420.00

System

ZI531	Zimmer Trabecular Metal Reverse Shoulder 	Dual Taper Insert	One Size Only	$1,000.00

System

ZI532	Zimmer Trabecular Metal Reverse Shoulder 	Glenosphere - CoCr - Mo Alloy	36mm, 40mm	$1,200.00	$1,500.00

System

ZI533	Zimmer Trabecular Metal Reverse Shoulder 	Trabecular Metal Reverse Base Plate - Ti 	One Size Only	$2,100.00	$3,500.00

System	Alloy & Tantalum

ZI534	Zimmer Trabecular Metal Reverse Shoulder 	Inverse/Reverse Screw 4.5mm	18mm, 24mm, 27mm, 30mm, 	$145.00

System	33mm, 36mm, 42mm, 48mm

ZI538	Ceramic primary & revision femoral head	Biolox Delta Ceramic	28 & 32mm	$2,080.00	$3,000.00

ZI539	Ceramic primary & revision femoral head	Biolox Delta Ceramic	36 - 40mm	$2,436.00	$3,000.00

ZI540	Trabecular metal acetabular revision system 	Modular cup-cage titanium alloy	56-80 Long & short flanged left & 	$6,830.00

modular cup-cage	right

AstraZeneca Pty Ltd

AZ001	Astra Tech Cover Screws	Cover Screw	Diameter 3.5mm, 4.0mm, 	$52.00	Only to be funded where used in a

4.5/5.0mm Short, 4.5/ 5.0mm Long	service for which a Medicare Benefit

is payable

AZ002	Astra Tech MicroThread Fixtures and 	Titanium fixture with microthreaded cervical 	Diameter 3.5 - 5.0mm, Length 8-	$467.00	Only to be funded where used in a

MicroThread Osseospeed Fixtures	neck	19mm	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 408 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AZ003	Astra Tech Healing Abutments	Healing Abutments, Healing Abutments Zebra	Zebra 1.5, 3.0, 4.5, 6.0mm; Healing	$67.00	Only to be funded where used in a

Abutment 5.5mm Ultra, Short, 	service for which a Medicare Benefit

Long; 7.0mm Short, Long; ST 	is payable

Short, Long; ST 5.5mm Short,

Long; ST 7.0mm Short, Long;

Temporary Abutment 3.5, 4.0

4.0/5.0mm

AZ004	Astra Tech Abutments	Temporary Abutment	Diam 3.5 - 5.0mm	$96.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AZ005	Astra Tech Abutments	PreFab Titanium Abutment, 	Diam 3.5 - 5.0mm	$96.00	Only to be funded where used in a

BiAbutment/Abutment Kit	service for which a Medicare Benefit

is payable

AZ006	Astra Tech Abutments	UniAbutment, Angled Abutment, Ball 	Diam 3.5 - 7.0mm	$96.00	Only to be funded where used in a

Abutment	service for which a Medicare Benefit

is payable

AZ007	Astra Tech Abutments	Ceramic Abutment	Diam 4.5 - 5.0mm	$136.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AZ008	AstraTech Cast to Abutment	$160.00

AZ009	AstraTech Profile BI Abutment	$160.00

Atrium Australia-Pacific Rim Pty Ltd

AC024	Atrium Advanta PTFE Facial Implant	Composition is PTFE 	Round Strands - Diameter 1.8mm - 	$970.00	Only to be funded where used in a

(Polytetrafluoroethylene). The implants are 	3.0mm Length 15cm with or 	service for which a Medicare Benefit

available in round and oval 15cm strands and 	without preattached trocar; Oval 	is payable.

with or without a stainless steel trocar 	Strands - Diameter 2.0mm - 3.5mm

introducer.	by 3.2mm - 6.5mm Length 15cm

with or without preattached trocar.

Aus Systems Pty Ltd

AU002	Aus Systems Titanium Miniplates (Bone 	Low profile 2 & 4 hole	Short, medium, long	$51.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU005	Aus Systems Titanium Miniplates (Bone 	Low profile condensed	8 hole	$87.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 409 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AU006	Aus Systems Titanium Miniplates (Bone 	Low profile	19 hole	$95.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU007	Aus Systems Titanium Miniplates (Bone 	Low profile pre-shaped - Square, T, L, Y, Y 	Short, medium, Long, 4 & 5 hole	$87.00	Only to be funded where used in a

Plates)	Double & X	service for which a Medicare Benefit

is payable

AU014	Aus Systems Titanium Miniplates (Bone 	Low profile burr hole cover	10mm, 14mm, 18mm, 22mm	$123.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU018	Aus Systems Titanium Miniplates (Bone 	Strip plates, Titanium (M10 series)	1mm profile, 4 holes	$56.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU019	Aus Systems Titanium Miniplates (Bone 	16 & 19 hole	0.7mm & 1mm profile	$95.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU022	Aus Systems Titanium Miniplates (Bone 	Pre-shaped - L	Small, Medium, Long	$79.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU035	Aus Systems Titanium Bone Screws 	Screws 2mm & 2.3mm diameter	4mm - 15mm length	$19.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AU043	Aus Systems Titanium Bone Screws 	Screws 1.5mm & 1.8mm diameter	3mm - 11mm length	$20.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AU055	Aus Systems Titanium Miniplates (Bone 	Pre-shaped - T, T Double, Y	Small, Medium, Long, 4 & 5 hole	$87.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU056	Aus Systems Titanium Miniplates (Bone 	Pre-shaped - Y Double	Small, Medium, Long	$95.00	Only to be funded where used in a

Plates)	service for which a Medicare Benefit

is payable

AU057	Titanium Surgical Mesh	Titanium Surgical Mesh	Mesh to suit 2mm screw	$460.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AU058	Titanium Surgical Mesh	Titanium Surgical Mesh	Mesh to suit 1.5mm screw	$390.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 410 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Austramedex (VIC) Pty Ltd

AR001	Nova Bone	Bonegraft particulate	6cc/8g	$500.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AR003	Enophthalmos Wedge	Regular left and right. Large left and right. 	Regular: 22 x 31 x 7mm. Large: 28 	$460.00	Only to be funded where used in a

(Models 9541 - 9544)	x 40 x 7.5mm	service for which a Medicare Benefit

is payable

AR004	Orbital Rim	Orbital rims, left and right extended. Models 	Left & right extended models 47 x 	$360.00	$450.00	Only to be funded where used in a

9539, 9540 Orbital Rim Onlay Implants 	40mm Oribtal Rim Onlay Implants 	service for which a Medicare Benefit

81001, 81002	left & right 40 x 40mm	is payable

AR005	Complete Orbital Shape	Porus Polyethylene. Complete and 2 / 3 orbit 	Inferior: 83 x 78mm	$1,940.00	Only to be funded where used in a

shapes. Inferior 2 / 3 left and right. Models 	service for which a Medicare Benefit

9567, 9568	is payable

AR006	Chins	Extended chin implants: Round RZ (Models 	Extended chin Implants design RZ 	$420.00	Only to be funded where used in a

8313 - 8315) and extended square RZ (Models 	round small: 45 x 47 x 3mm, 	service for which a Medicare Benefit

8316, 8318). Two piece chin design (Models 	medium 45 x 47 x 5mm, large 45 x 	is payable

8320 - 8322). Single piece chin design, 	47 x 7mm; Extneded Chin Implants

contoured (Models 7520 - 7522). Additional 	 square small 45 x 47 x3mm;

chin shapes (Models 6341 - 6344) Contoured 	Medium 45 x 47 x 5mm; Large 45

two piece 86000 - 86003, Button Chins 86010	x 47 x 7mm; Two piece design

- 86012	small 46 x 33 x 5mm; Medium 56

x 36 x 7mm; Large 57 x 38 x 9mm,

Single piece design small 65 x 37 x

5mm; Medium 65 x 37 x 7mm,

Large 65 x 37 x 10mm, Additional

Chin Designs round 53mm length x

13mm projection, 74mm Length x

10mm projection, 50mm Length x

7mm projection, 40mm length x

4mm projection, contoured two

piece design extra small 72 x 42 x

3mm, small 74 x 42 x 5mm,

medium 78 x 50 x 7mm, Large 80 x

55 x9mm, Button Chins Small 40

x 25 4mm, Medium, Large.

AR007	Genioplasty Wedge	Porus Polyethylene. Genioplasty wedges, 	Small 60 x 25 x 5mm, medium 60 	$420.00	Only to be funded where used in a

models 8340 - 8343	x 25 x 7.5mm, large 60 x 25 x 10mm	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 411 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AR008	Prejowl Shape	Porus Polyethylene. Model 8319	45 x 41 x 4mm	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AR010	Malar Shape	Porus Polyethylene. Design RZ malar shapes, 	Design RZ malar shapes: super 	$420.00	Only to be funded where used in a

super petite and petite, left and right (Models 	petite left and right 50 x 19 x 3mm, 	service for which a Medicare Benefit

9501 - 9504). Design M malar shapes, left and 	Design RZ malar shapes petite left 	is payable

right (Models 9507 - 9512). Additional malar 	and right 50 x 19 x 5mm. Design

shapes, extended contoured left and right 	malar shapes: small left and right

(Models 9513 - 9518) Contoured 6313, 6318	64 x 19 x 3mm, left and right

medium 64 x 19 x 4.5mm, Left and

right large 64 x 19 x 7mm.

Additional malar shapes small left

and right: 45 x 24 x 3mm, medium

left and right:  50 x 26 x 4mm, large

left and right: 55 x 27 x 5mm

Contoured left & right 38 x 27 x 4mm

AR011	Nasal Shape or Rhinoplasty Shape	Porus Polyethylene. Nasal Arch shapes, nasal 	Nasal arch shapes: small 70 x 13 x 	$350.00	Only to be funded where used in a

arch and nasal sheet (Models 9533 - 9536). 	2mm, medium 70 x 15 x 2mm, 	service for which a Medicare Benefit

Nasal dorsum shapes, design A and design B 	large 70 x 15 x 2mm, sheet 40 x 9 x	is payable

(Models 7516 - 7518). Nasal valve support, 	 1.1mm. Nasal dorsum shapes:

lateral nasal valve support and ext.	design A small 53 x 5mm, design A

large 66 x 8mm, design B 67 x

6.5mm. Nasal valve support: lateral

nasal valve 13 x 0.85 x 3.5mm

AR012	Micro Thin Sheet	Model/s 8438, 83020, 83022, 83029	8438: 30 x 50 x 0.4mm,  83020: 38	$377.00	Only to be funded where used in a

x 50 x 0.25mm, 83022: 38 x 50 x 	service for which a Medicare Benefit

0.35mm, 83029: 38 x 50 x 0.45mm	is payable

AR013	Ultra Thin Sheet	Porus Polyethylene. Models 7210	38 x 50 x 0.85mm	$355.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 412 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AR014	Sheet	Porus Polyethylene. Models 6330, 6331, 	Sheets 6330: 38 x 50 x 1.5mm, 	$800.00	Only to be funded where used in a

8662, 9562. Micro single channel sheet, model	6331: 50 x 76 x 1.5mm, 8662: 76 x	service for which a Medicare Benefit

9528. Barrier microplate single channel sheet, 	 127 x 1.5mm, 9862: 38 x 50 x 	is payable

model 9527 Medpor Titan Implant Sheets 	3mm. Microplate single channel

Plain, Barrier & Double Barrier, and Medpor 	Sheet 9528: 38 x 50 x 0.85mm.

Titan Orbital floor and wall sheets 81020 - 	Barrier microplate single channel

81033	Sheet 9527: 38 x 50 x 0.85mm.

Titan implant sheets 81020: 76 x 50

x 0.85, 81021: 38 x 50 x 0.85,

81022: 38 x 50 x 1.5mm, 81023:

76 x 50 x 1.5mm, 81024: 38 x 50 x

0.6mm, 81025: 76 x 50 x 0.6mm,

81026: 38 x 50 x 1mm, 81027: 76

x 50 x 1mm, 81028: 38 x 50 x

1.6mm, 81029: 76 x 50 x 1.6mm,

81030: 41 x 42 x 0.85mm, 81031

(left): 41 x 42 x 1.0mm, 81032

(right): 41 x 42 x 1.0mm, 81033:

41 x 42 x 0.6mm

AR015	Barrier Sheet: Barrier Sheet - Orbital Floor	Porus Polyethylene. Barrier  sheet - Rectangle,	 Barrier  sheet - Rectangle: 50 x 76  	$410.00	Only to be funded where used in a

models 8312 and 9312. Orbital floor 	x 1mm, 50 x 76 x 1.6mm: 50 x 76 	service for which a Medicare Benefit

implants, models 8305 and 9305	x 1mm, 50 x 76 x 1.6mm.  Orbital 	is payable

Floor: 38 x 50 x 1mm, 38 x 50 x

1.6mm

AR016	Block	Models 6332 - 6340 & 6359	6332: 13 x 38 x 3mm, 6333: 13 x 	$878.00	Only to be funded where used in a

38 x 6mm, 6334: 13 x 38 x 9.5mm,	service for which a Medicare Benefit

6335: 25 x  50 x 3 mm, 6336: 25 x	is payable

50 x 6mm, 6337: 25 x 50 x

9.5mm, 6338: 38 x 63 x 3mm,

6339: 38 x 63 x 6mm, 6340: 38 x

63 x 9.5mm 6359: 150 x 201mm

AR017	Burr Hole Cover	Porus Polyethylene. Burr hole cover, models 	Cover: 15 x 3 x 5mm, 29 x 7 x 	$250.00	Only to be funded where used in a

7511 and 7512. Burr hole disk, model 7514	14mm. Disk 14 x 15mm	service for which a Medicare Benefit

is payable

AR018	Flexblock TF2	Flexblock TF2 implant, left and right, models 	Flexblock TF2: small left & right 	$950.00	Only to be funded where used in a

9857 - 9860, 9861 - 9862	61 x 78 x 18mm, Medium left & 	service for which a Medicare Benefit

right 74 x 93 x 20mm, large left & 	is payable

right 82 x 105 x 20mm

Prostheses List by Category and Sponsor	Page 413 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AR019	Sphere	Orbital Sphere Models 6316, 6326, 6327, 	Orbital Sphere Models 6316: 	$713.00	Only to be funded where used in a

6317 and 6322 8702-8704. COI implant, 	14mm, 6326: 16mm, 6327: 18mm, 	service for which a Medicare Benefit

models 7222, 7223 & 80026. MCOI implant, 	6317: 20mm, 6322: 22mm, 8702: 	is payable

models 7207 - 7209 Quad Motility Implants 	19mm, 8703: 21mm, 8704: 23mm,

9866 - 9868 & 80022	COI Implants 7222: Approx 4ml,

7223: Approx 5ml, 80026: Approx

6ml, MCOI 7207: Approx 3ml,

7208: Approx 4.2ml,  7209: Approx

5.6ml, QUAD Motility Small

16ml, Medium: 18ml, Large: 20ml,

Extra Large: 22ml.

AR020	Ear Reconstruction	Porus Polyethylene. Helical rim, models 8328 	Helical rim: 37 x 62mm	$400.00	Only to be funded where used in a

and 8329	service for which a Medicare Benefit

is payable

AR023	Complete Orbital Shape	Complete left and right.  Models 9569, 9570	Complete 61 x 76mm	$2,315.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AR024	Mandibular angle	Porus Polyethylene. RZ mandibular angles left	RZ mandibular angles: 65 x 35 x 3 	$1,485.00	Only to be funded where used in a

and right (Models 9955 - 9960); Porus 	x 6.5 x 3 x 3mm, 65 x 35 x 7 x 6.5	service for which a Medicare Benefit

Polyethylene. Contoured mandibular angles 	 x 3 x 3mm, 65 x 35 x 11 x 6.5 x 3	is payable

left and right (Models 88037 - 88038)	 x 3mm. Contoured mandibular

angles left and right:59 x 29 x 7 x

11mm.

AR025	Nasal Shape. Petite Nasal Dorsum.	Porus Polyethylene. Petite Nasal Dorsum ( 	Petite Nasal Dorsum: 4 x 4 x 	$220.00	Only to be funded where used in a

Models 84000 - 84004).	45mm, 4 x 4 x 55mm, 5 x 5 x 	service for which a Medicare Benefit

45mm, 5 x 5 x 55mm, 6 x 9 x 	is payable

55mm.

AR026	Nasal Valve Support.	Lateral Nasal Valve, Model 7545. External 	Lateral Nasal Valve:13 x 3.5 x 	$445.00	Only to be funded where used in a

Nasal Valve Batten, Model 7546. External 	0.85mm, External Nasal Valve 	service for which a Medicare Benefit

Nasal Valve Batten - Thin, Model 7167	Batten: 25 x 11 x 0.85mm, External	is payable

Nasal Valve Batten - Thin: 24 x

11.5 x 0.6mm.

AR027	Nasal Sheet (Strut).	Nasal Sheet (Strut). Model 9536	Nasal Sheet (Strut): 40 x 9 x 1.1mm	$135.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 414 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AR028	Nasal Shell Shapes.	Nasal Shell Shapes, Regular and Large with 	Regular: 38 x 21 x 17mm, Insert 	$490.00	Only to be funded where used in a

Inserts Small and Large (included). Models 	Small 30 x 4 x 9mm, Insert Large 	service for which a Medicare Benefit

9553 - 9554.	38 x 2.5 x 9mm. Large: 40 x 20 x 	is payable

18mm, Insert Small 32 x 4 x 9mm,

Insert Large 41 x 3 x 9mm.

AR029	Ultra Thin Sheet	Porus Polyethylene. Model 7212	50 x 76 x 0.85mm	$450.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AR030	Ultra Thin Sheet	Porus Polyethylene. Model 7214	76 x 127 x 0.85mm	$765.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AR031	Ultra Thin Sheet	Porus Polyethylene. Model 7216	127 x 178 x 0.85mm	$820.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

AR032	Sheet - Multi Channel, Barrier Channel.	Porus Polyethylene. Miniplate channel sheet, 	Miniplate channel: 40 x 52 x 	$510.00	Only to be funded where used in a

model 9529. Microplate channel sheet, model 	2.3mm. Mircoplate channel: 40 x 52	service for which a Medicare Benefit

9530. Barrier Miniplate and Microplate 	 x 2.3mm. Barier Miniplate and 	is payable

Channel Sheets, Models 9531 and 9532.	Microplate Channel Sheets: 40 x 52

x 2.3mm, 40 x 52 x 2.3mm

AR033	Sheet - Barrier Single Channel Sheet.	Porus Polyethylene. Barrier Single Channel 	Barrier Single Channel: 38 x 50 x 	$540.00	Only to be funded where used in a

Sheet, Model 9527.	0.85mm	service for which a Medicare Benefit

is payable

AR034	Flexblock TF2	Porus Polyethylene. Flexblock TF2 implant, 	Flexblock TF2: large 82 x 105 x 	$825.00	Only to be funded where used in a

left and right, models 9861 - 9862	20mm.	service for which a Medicare Benefit

is payable

AR035	Flexblock TF	Porus Polyethylene. Flexblock TF implant, 	Flexblock TF: small 70 x 70 x 	$825.00	Only to be funded where used in a

models 9521 - 9522.	10mm, medium 88 x 86 x 15mm,	service for which a Medicare Benefit

is payable

AR036	Flexblock TF	Porus Polyethylene. Flexblock TF implant, 	Flexblock TF: large 98 x 95 x 	$990.00	Only to be funded where used in a

model 9523. 	18mm.	service for which a Medicare Benefit

is payable

AR037	Flexblock, Cranial Grid	Porus Polyethylene.Flexblock cranial grid 	Flexblock cranial grid: 97 x 107 x 	$1,590.00	Only to be funded where used in a

implant, model 9524.	6mm.	service for which a Medicare Benefit

is payable

AR038	Flexblock	Porus Polyethylene. Flexblock, model 6314.	Flexblock: 56 x 91 x 4mm.	$825.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 415 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AR039	Ear Reconstruction	Porus Polyethylene. Ear base left and right, 	Ear base: 29 x 55 x 13mm, 32 x 65 	$777.00	Only to be funded where used in a

models 7542 and 7525  - 7527. Ear base 	x 16mm. Ear base extended: 30 x 	service for which a Medicare Benefit

extended left and right, models 8330 and 8331.	60mm.	is payable

Biomet Australia Pty Ltd

BI348	W Lorenz Osteosynthesis System	L-Plate, 2mm System, Left or Right. 	2 x 2 hole, Mini or Low Profile	$100.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI349	W Lorenz Osteosynthesis System	Plate, Compression Straight, 2mm System. 	4 hole	$137.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI351	W Lorenz Osteosynthesis System	L-Plate, 2mm System, Left or Right. 	2 x 2 hole, long	$168.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI353	W Lorenz Osteosynthesis System	Plate, Burr Hole, 1mm, 1.5mm, 2mm system	Small, Large	$203.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI359	W Lorenz Osteosynthesis System	Plate, Straight, mini, 2.0mm System, Titanium	4 - 8 hole	$157.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI360	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive, Std or 	2.0mm x (4 - 7) mm	$27.00	Only to be funded where used in a

Self Drilling; Titanium	service for which a Medicare Benefit

is payable

BI365	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.0mm x (9 - 19) mm	$27.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI375	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.7mm x (8 - 18) mm	$44.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI381	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.7mm x (22 - 40) mm	$75.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI383	W Lorenz Osteosynthesis System	Plate, Straight, 2.4mm, 2.7mm System; 	4 hole (35mm) or 6 hole (40mm)	$275.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 416 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI385	W Lorenz Osteosynthesis System	Plate, Angled or Straight, 2.4mm or 2.7mm 	4-8 hole	$365.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI390	W Lorenz Osteosynthesis System	Plate, Angled 45 degrees, 2.4mm or 2.7mm 	4 hole (35 or 40mm)	$345.00	Only to be funded where used in a

system, Titanium	service for which a Medicare Benefit

is payable

BI392	Lactosorb Resorbable Craniomaxillofacial 	Lactosorb Plates, 1.5mm System, All sizes, 	4 - 20 hole	$360.00	Only to be funded where used in a

Fixation System	shapes PGA/PLA	service for which a Medicare Benefit

is payable

BI397	Lactosorb Resorbable Craniomaxillofacial 	Bone Screw, Lactosorb 1.5mm, 2mm system; 	(1.5, 2.0, 2.5, 2.8) x (3 - 17mm)	$360.00	Only to be funded where used in a

Fixation System	pkt 2, PGA/PLA	service for which a Medicare Benefit

is payable

BI399	Lactosorb Resorbable Craniomaxillofacial 	Cover, solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 25x25mm	$120.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI400	Lactosorb Resorbable Craniomaxillofacial 	Cover, Solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 38x38mm	$680.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI401	Lactosorb Resorbable Craniomaxillofacial 	Cover, Solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 50x50mm	$1,300.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI412	Lactosorb Resorbable Craniomaxillofacial 	Cover, Solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 75x75mm	$1,750.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI413	Lactosorb Resorbable Craniomaxillofacial 	Cover, Solid or Holed, PGA/PLA	(0.25, 0.5, 0.75mm) x 100x100mm	$2,150.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI414	Lactosorb Resorbable Craniomaxillofacial 	Lactosorb Plates, 2mm System, All sizes, 	4 - 16 hole	$304.00	Only to be funded where used in a

Fixation System	shapes PGA/PLA	service for which a Medicare Benefit

is payable

BI415	Lactosorb Resorbable Craniomaxillofacial 	Bone Screw,  2 Pack, Endobrow, Lactosorb. 	2 x 5mm	$160.00	Only to be funded where used in a

Fixation System	PGA/PLA	service for which a Medicare Benefit

is payable

BI416	Lactosorb Resorbable Craniomaxillofacial 	Panel, Lactosorb. 2mm System. PGA/PLA	42 x 42mm  (10x10 hole)	$1,400.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 417 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI417	Lactosorb Resorbable Craniomaxillofacial 	Panel, Lactosorb. 1.5mm System. PGA/PLA	25 x 25mm (5 x 5 hole)	$470.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI418	Lactosorb Resorbable Craniomaxillofacial 	Panel, Lactosorb. 1.5mm System. PGA/PLA	25 x 50mm (5 x 10hole)	$875.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI419	Lactosorb Resorbable Craniomaxillofacial 	Panel, Lactosorb. 1.5mm System. PGA/PLA	50 x 50mm (10 x 10 hole)	$1,400.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI424	Lactosorb Resorbable Craniomaxillofacial 	Mesh, Mandibular Lactosorb 2.5mm System 	12x30mm, 12x35mm	$345.00	Only to be funded where used in a

Fixation System	PGA/PLA	service for which a Medicare Benefit

is payable

BI426	Lactosorb Resorbable Craniomaxillofacial 	Mesh, Mandibular Lactosorb 2.5mm System. 	16 x 40mm	$435.00	Only to be funded where used in a

Fixation System	PGA/PLA	service for which a Medicare Benefit

is payable

BI427	Lactosorb Resorbable Craniomaxillofacial 	Mesh, Mandibular Lactosorb 2.5mm System. 	42 x 42mm	$1,367.00	Only to be funded where used in a

Fixation System	PGA/PLA	service for which a Medicare Benefit

is payable

BI428	Lorenz 2.4mm Locking Reconstruction 	Add on Plate, Parallel, Arched, Y, Symphysis	3 to 6 hole, 12x2 hole	$245.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable

BI435	Lorenz 2.4mm Locking Reconstruction 	Holding Screw Head, 1.5mm Add-on Plates. 	1.5mm	$75.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

BI436	Lorenz 2.4mm Locking Reconstruction 	Holding Screw modular head, 1.5mm Add-On 	2.4mm	$65.00	Only to be funded where used in a

System	plates. Titanium	service for which a Medicare Benefit

is payable

BI439	Lorenz 2.4mm Locking Reconstruction 	Plate, Low Profile, Angled, 2.4mm System 	5 x (22 -24) hole	$1,318.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

BI440	Lorenz 2.4mm Locking Reconstruction 	Plate, Angled, 2.4mm System Titanium	5 x 22 hole	$1,268.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable

BI443	Lorenz 2.4mm Locking Reconstruction 	Plate, Low Profile, Angled, 2.4mm System 	5 x 11 hole	$1,009.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 418 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI445	Lorenz 2.4mm Locking Reconstruction 	Plate, Angled, 2.4mm System Titanium	5 x 11 hole	$975.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable

BI447	Lorenz 2.4mm Locking Reconstruction 	Plate, Curved, Std Thickness, 2.4mm System,	8 or 20 hole	$490.00	Only to be funded where used in a

System	 Titanium	service for which a Medicare Benefit

is payable

BI448	Lorenz 2.4mm Locking Reconstruction 	Plate, curved, std or low profile, 2.4mm 	20 - 24 hole	$927.00	Only to be funded where used in a

System	system, titanium	service for which a Medicare Benefit

is payable

BI450	Lorenz 2.4mm Locking Reconstruction 	Plate, low profile. Curved. 2.4mm System. 	8 hole	$620.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

BI452	Lorenz 2.4mm Locking Reconstruction 	Plate, Straight, Std or low profile, 2.4mm 	12 - 16 hole	$606.00	Only to be funded where used in a

System	System, Titanium	service for which a Medicare Benefit

is payable

BI454	Lorenz 2.4mm Locking Reconstruction 	Plate, Straight, Std or low profile, 2.4mm 	8 hole	$454.00	Only to be funded where used in a

System	System, Titanium	service for which a Medicare Benefit

is payable

BI455	Lorenz 2.4mm Locking Reconstruction 	Plate, Double Angled, 2.4mm System, 	5 x (22 or 24) x 5 hole	$1,600.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

BI457	Lorenz 2.4mm Locking Reconstruction 	Screw, Locking Reconstruction Modular. 	2.4 x (6-18)mm	$95.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

BI464	Lorenz 2.4mm Locking Reconstruction 	Screw, Locking Reconstruction Modular. 	2.7 x (6-18)mm	$95.00	Only to be funded where used in a

System	Titanium	service for which a Medicare Benefit

is payable

BI471	Lorenz 2.4mm Locking Reconstruction 	Screw Head, Plate Locking Modular	2.4mm	$95.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable

BI472	Lorenz Pectus Bar	Pectus Bar, Stainless Steel	178-432mm	$1,256.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI483	Lorenz Pectus Bar	Stabilizer, Triangular or Elongated, Stainless 	One size only	$505.00	Only to be funded where used in a

Steel	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 419 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI485	Distraction Technology System	Drive Screw with Flex Connect. Titanium	20 - 30mm	$385.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI487	Mimix Calcium Phosphate Bone Void Filler	Calcium Phosphate	5 grams	$1,004.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI488	Mimix Calcium Phosphate Bone Void Filler	Calcium Phosphate	10 grams	$1,900.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI489	Mimix Calcium Phosphate Bone Void Filler	Calcium Phosphate	20 grams	$2,300.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI492	Small Fragment Titanium System	Plate, Rectangle, 1.2mm, 1.7mm, 2.3mm 	2 x 2 hole x (0.6mm or 1) mm 	$204.00	Only to be funded where used in a

System, Titanium	height	service for which a Medicare Benefit

is payable

BI493	Small Fragment Titanium System	Plate, Rectangular, Parallelogram, Trapezoid; 	4 x 2 hole x (0.6mm, 1mm) height	$392.00	Only to be funded where used in a

1.2mm or 1.7mm or 2.3mm system	service for which a Medicare Benefit

is payable

BI495	Small Fragment Titanium System	Plate, Y or L or T; 1.2mm System, 1.7mm 	(5-9) hole x 0.6mm height	$193.00	Only to be funded where used in a

System; Titanium	service for which a Medicare Benefit

is payable

BI496	Small Fragment Titanium System	Plate, Straight, Std or Compression; 1.7mm 	(0.6mm or 1mm height) x (4-6 hole)	$104.00	Only to be funded where used in a

or 2mm or 2.3mm System; Titanium	service for which a Medicare Benefit

is payable

BI497	Small Fragment Titanium System	Plate, Straight, 1.2mm or 1.7mm System, 	16 hole x 0.6mm height	$250.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI499	Small Fragment Titanium System	Washer, Lag Screw 1.2,1.7, 2.3mm System	0.6mm or 1mm height	$14.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI512	Small Fragment Titanium System	Bone Screw, Titanium	1.4mm x (4 - 10) mm	$40.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI515	Small Fragment Titanium System	Bone Screw, Titanium	1.2mm x (7 - 19) mm	$55.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 420 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI520	Small Fragment Titanium System	Bone Screw, Titanium	1.7mm x (5 - 10) mm	$40.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI523	Small Fragment Titanium System	Bone Screw, Titanium	1.7mm x (11 - 27) mm	$40.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI525	Small Fragment Titanium System	Bone Screw, Emergency Titanium	(1.9mm or 2.5mm) x (5-6mm)	$34.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI528	Small Fragment Titanium System	Bone Screw, Titanium	2.3mm x (6 - 23) mm	$37.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI530	Small Fragment Titanium System	Bone Screw, Titanium	2.3mm x (25 - 33) mm	$43.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI532	Small Fragment Titanium System	Plate, Straight, Compression; Titanium	(4-6 hole) x 1.25mm height	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI538	Small Fragment Titanium System	Plate, Condylar, Left or Right, 1.7mm or 	(5 or 7 hole) x (0.6mm or 1) mm 	$209.00	Only to be funded where used in a

2.3mm System	height	service for which a Medicare Benefit

is payable

BI541	Small Fragment Titanium System	Y Plate, 2.3mm System, Titanium	(7 or 9 hole) x (1.0 or 1.25) mm 	$242.00	Only to be funded where used in a

height	service for which a Medicare Benefit

is payable

BI544	Small Fragment Titanium System	Plate, T or L,  2.3mm System, Titanium	(6 - 9 hole) x (1.0 or 1.25) mm 	$209.00	Only to be funded where used in a

height	service for which a Medicare Benefit

is payable

BI546	Small Fragment Titanium System	Plate, T or L, Compression, 2.3mm System, 	6 hole x (1.00 or 1.25) mm height	$190.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI551	Small Fragment Titanium System	Z Plate, 2.3mm System, Titanium	13 hole, 1mm height	$278.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI559	TMJ System	Mandibular Component, Left or Right, Titanium	(40 - 60mm), 5-13 hole	$6,875.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 421 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI569	TMJ System	Fossa Component, Left or Right; Titanium, 	Small, Medium Large	$5,850.00	Only to be funded where used in a

UHMWPE	service for which a Medicare Benefit

is payable

BI570	TMJ System	Screw, Cross Drive, Fossa; Titanium	(2.0 or 2.3) x (5 - 13) mm	$75.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI574	Distraction Technology System	Distractor, Solid Shaft, Facial, Titanium	1- 2 inch	$450.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI591	W Lorenz Osteosynthesis System	Chin Plates, Paulus, 2mm System, Titanium	4 - 12mm	$226.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI598	Lactosorb Resorbable Craniomaxillofacial 	Panel, Lactosorb, with strut, 2mm System, 	(2-3) hole x (5-6) hole	$455.00	Only to be funded where used in a

Fixation System	2.5mm System. PGA/PLA	service for which a Medicare Benefit

is payable

BI602	Lactosorb Resorbable Craniomaxillofacial 	Bone Screw, Lactosorb, 4 pack. PGA/PLA	(1.5, 2.0mm) x (3, 4, 5 ,7mm)	$444.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI603	W Lorenz Osteosynthesis System	Sheet, 1mm System Titanium	202x127x0.2mm	$820.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI604	W Lorenz Osteosynthesis System	Sheet, 1mm System. Titanium	85x50x0.2mm	$312.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI605	W Lorenz Osteosynthesis System	Plate, Matrix, 1.5mm System, Titanium	2 x 3 or 2 x 4 hole	$127.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI617	W Lorenz Osteosynthesis System	Plate, Straight, 1mm System. Titanium	4 hole	$85.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI620	W Lorenz Osteosynthesis System	Plate, Straight, low profile, 2.0mm System, 	4 - 8 hole	$98.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI621	W Lorenz Osteosynthesis System	Plate, L , 2.5mm or 2m system, Titanium	2 x2 or 3x3 hole	$115.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 422 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI622	W Lorenz Osteosynthesis System	Z-Shape Plate, Left or Right, 1.5mm or 2mm 	2 x 2 hole	$133.00	Only to be funded where used in a

System. Titanium	service for which a Medicare Benefit

is payable

BI623	W Lorenz Osteosynthesis System	T-Plate, Left or Right, 1.5mm System. 	3x3 hole, 7x7 hole	$193.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI624	W Lorenz Osteosynthesis System	T-Plate 90 degrees, Left or Right, 2mm 	2x5hole, 3x3hole, 2x3hole	$150.00	Only to be funded where used in a

System. Titanium	service for which a Medicare Benefit

is payable

BI625	W Lorenz Osteosynthesis System	Plate, Y, Double Y, X, 1.5mm System or 	One size only	$112.00	Only to be funded where used in a

2.0mm System, Titanium	service for which a Medicare Benefit

is payable

BI627	W Lorenz Osteosynthesis System	Plate, Straight, 1.5mm System, Titanium	4 or 6 hole	$107.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI628	W Lorenz Osteosynthesis System	Plate, Straight, 1.5mm System or 2mm 	16 hole	$193.00	Only to be funded where used in a

System. Titanium	service for which a Medicare Benefit

is payable

BI629	W Lorenz Osteosynthesis System	Plate Straight, 1.0mm, 1.5mm, 2.0mm 	24 hole	$280.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI631	W Lorenz Osteosynthesis System	L Plate, Left or Right, 1mm System. 	5x3 hole	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI633	W Lorenz Osteosynthesis System	T Plate 90 degrees, 1mm System, Titanium	5 hole, Regular	$190.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI635	W Lorenz Osteosynthesis System	Plate, DoubleT, Double Y; 1mm, 2mm 	6,7,11 hole	$185.00	Only to be funded where used in a

system, Titanium	service for which a Medicare Benefit

is payable

BI636	W Lorenz Osteosynthesis System	Plate, Y-Shape, 1mm System, 2mm System 	Regular, medium, long, xlong, 	$190.00	Only to be funded where used in a

.Titanium	nasal. 6 hole	service for which a Medicare Benefit

is payable

BI638	W Lorenz Osteosynthesis System	Plate, Orbital. 1mm System, Titanium	One size only	$195.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 423 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI639	W Lorenz Osteosynthesis System	Plate, Square. 1mm System. Titanium	4 hole	$123.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI640	W Lorenz Osteosynthesis System	Plate, Matrix. 1mm System. Titanium	2 x 3 hole	$160.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI641	W Lorenz Osteosynthesis System	Plate, Matrix.  1mm System, 1.5mm System. 	2 x 4 hole	$193.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI644	W Lorenz Osteosynthesis System	Mesh panel, 1mm System. Titanium	83 x 51mm x 0.6mm	$1,127.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI645	W Lorenz Osteosynthesis System	Mesh panel. 1.5mm System Titanium	83 x 51mm x 0.3mm	$987.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI656	W Lorenz Osteosynthesis System	Plate, Orbital; 1.5mm, 2.0mm System; 	6 or 8 hole	$90.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI658	W Lorenz Osteosynthesis System	Plate, Orbital. 1.5mm System, 2mm System. 	10 hole	$112.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI660	W Lorenz Osteosynthesis System	Plate, H-Shape, 1.5mm System, Titanium	One size only	$160.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI662	W Lorenz Osteosynthesis System	Mesh Panel, 1.5mm System. Titanium	Small (85x53x0.6mm)	$1,165.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI666	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	1.5mm x (3.5 - 15) mm	$27.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI671	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	1.8mm x (3.5 - 7) mm	$33.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI677	W Lorenz Osteosynthesis System	Plate, Neuro Straight, 1.5mm System, Titanium	2 hole (medium or long)	$65.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 424 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI681	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	1.0mm x (2 - 7) mm	$54.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI684	W Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	1.2mm x (3 - 5) mm	$55.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI723	Mandibular Fracture System	Screw, High Torque 2.0/2.4 Mandibular 	2.7 x (6-20)mm	$53.00	Only to be funded where used in a

Fracture, Titanium	service for which a Medicare Benefit

is payable

BI726	Mandibular Fracture System	Screw, High Torque (HT), Emergency, 2.0/2.4	Dia 2.3mm x 4.0, 5.0, 7.0, 9.0, 	$45.00	Only to be funded where used in a

Mandibular Fracture System, Titanium	11.0, 13.0, 15.0mm  Lengths	service for which a Medicare Benefit

is payable

BI731	Mandibular Fracture System	Washer, for High Torque (HT) Lag Screw, 	2.0 (dia), 2.4 (dia)	$109.00	Only to be funded where used in a

2.0/2.4 Mandibular Fracture System, titanium	service for which a Medicare Benefit

is payable

BI733	W.Lorenz Osteosynthesis System	Bone Screw, Self Drilling, Cross Drive, 	1.5 mm (dia) x 6.0, 7.0mm [lengths]	$50.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI734	W.Lorenz Osteosynthesis System	Bone Screw, Self Drilling, Cross Drive, 	1.5 mm (dia) x 3.5, 4.0, 5.0mm, 	$27.00	Only to be funded where used in a

Titanium	[lengths]	service for which a Medicare Benefit

is payable

BI735	W.Lorenz Osteosynthesis System	Bone Screw, Cross or Centre Drive; Titanium	2.3mm x (5 - 9) mm	$32.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI738	W.Lorenz Osteosynthesis System	Orbital Floor Plate; Titanium	1.5mm system, Large	$1,128.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI739	W.Lorenz Osteosynthesis System	Orbital Floor Plate; Titanium	1.5mm system, Medium	$1,039.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BI740	W.Lorenz Osteosynthesis System	Orbital Floor Plate (Small) or NOE plate, 	Small or NOE plate	$909.00	Only to be funded where used in a

1.5mm System, Titanium	service for which a Medicare Benefit

is payable

BI742	TMJ System	Screw, Cross Drive Emergency, Mandibular 	3.2 mm (dia) x 8, 10, 12mm 	$62.00	Only to be funded where used in a

Component, Titanium	(lengths)	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 425 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI744	Mandibular Fracture System	Screw, High Torque 2.0/2.4 Mandibular 	2.0 x (9-17)mm	$45.00	Only to be funded where used in a

Fracture, Titanium	service for which a Medicare Benefit

is payable

BI745	TMJ System	Screw, Cross Drive, Mandibular Component, 	2.7 mm (dia) x 8, 10, 12mm 	$47.00	Only to be funded where used in a

Titanium	(lengths)	service for which a Medicare Benefit

is payable

BI747	Mandibular Fracture System	Screw, High Torque (HT), Lag,  2.0/2.4 	Dia 2.0 x 19, 21.0, 23, 25, 27, 	$53.00	Only to be funded where used in a

Mandibular Fracture System, Titanium	29mm  Lengths	service for which a Medicare Benefit

is payable

BI748	Mandibular Fracture System	Screw, High Torque (HT), 2.0/2.4 Mandibular	Dia 2.4 x 6.0mm, 8.0, 10.0, 12.0, 	$47.00	Only to be funded where used in a

Fracture System, Titanium	14.0, 16.0, 18.0mm Lengths	service for which a Medicare Benefit

is payable

BI749	Mandibular Fracture System	Screw, High Torque (HT),  2.0/2.4 	Dia 2.4 x 20.0mm Lengths	$62.00	Only to be funded where used in a

Mandibular Fracture System, Titanium	service for which a Medicare Benefit

is payable

BI750	Mandibular Fracture System	Plates, Angled or Curved, 2.0 Mandibular 	4-10 hole	$150.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI751	Mandibular Fracture System	Screw, High Torque (HT), Lag, 2.0/2.4 	2.4mm Dia, 24, 28, 32, 36, 40mm 	$58.00	Only to be funded where used in a

Mandibular Fracture, Titanium	Lengths	service for which a Medicare Benefit

is payable

BI753	Mandibular Fracture System	Plates, Matrix Shape, 2.0 Mandibular System,	2 x (2, 4, 6, 8) hole	$207.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI754	Mandibular Fracture System	Plates, Compression, 2.0 Mandibular Fracture 	4 hole	$173.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI755	Mandibular Fracture System	Plates, Y Shapek, 2.0 Mandibular Fracture 	5 hole long, 5 hole medium, 5 hole 	$142.00	Only to be funded where used in a

System, Titanium	regular	service for which a Medicare Benefit

is payable

BI756	Mandibular Fracture System	Plates, Compression, 2.0 Mandibular Fracture 	6 hole, 8 hole	$210.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI759	Mandibular Fracture System	Plates, Matrix Shape, 2.0 Mandibular Fracture 	5 hole long, 5 hole medium, 5 hole 	$150.00	Only to be funded where used in a

System, Titanium	regular	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 426 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI761	Mandibular Fracture System	Plates, V Shape, 2.0 Mandibular Fracture 	6-10 hole	$152.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI762	Mandibular Fracture System	Plates, 2.4 Mandibular Fracture System, 	16 - 24 Hole	$770.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI764	Mandibular Fracture System	Plates, 2.4 Mandibular Fracture System, 	4, 6, 8 hole	$373.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

BI767	Mandibular Fracture System	Plates, Straight, 2.0 Mandibular Fracture 	4 hole, 6 hole, 8 hole	$117.00	Only to be funded where used in a

System, Titanium	service for which a Medicare Benefit

is payable

BI774	W Lorenz Osteosynthesis System	Lefort plate, 1.5mm system, 0.6mm thickness,	Flat, 2-11mm	$360.00	Only to be funded where used in a

titanium	service for which a Medicare Benefit

is payable.

BI784	Lorenz 2.4mm Locking Reconstruction 	Condyle screw, titanium	One size only	$75.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable.

BI786	Lorenz 2.4mm Locking Reconstruction 	Screw, bending inserts, titanium	One size only	$33.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable.

BI791	Lactosorb Resorbable Craniomaxillofacial 	Screw, 1.5mm System, PLLA/PGA	Length 3-5mm (pack 10)	$910.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable.

BI792	Lorenz 2.4mm Locking Reconstruction 	Condyle left or right, chrome cobalt (CoCr)	One size only	$1,377.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable.

BI812	Blue Device Multivector Distraction System	Blue device frame, aluminium & carbon fiber	One size only	$8,147.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

BI813	Blue Device Multivector Distraction System	Blue device, pre-stretched wire, titanium	12 inches, 18-24 gauge	$3.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

BI814	Blue Device Multivector Distraction System	Attachment plates, titanium	4-6 Hole	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

Prostheses List by Category and Sponsor	Page 427 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BI815	Blue Device Multivector Distraction System	Distraction assembly, aluminium and carbon 	One size only	$2,070.00	Only to be funded where used in a

fiber	service for which a Medicare Benefit

is payable.

BI816	Blue Device Multivector Distraction System	Cranial screw, titanium	45mm	$150.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

BI817	Blue Device Multivector Distraction System	Threaded fixation screw, titanium	2.0mm system, 15-25mm	$150.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

BI924	Lactosorb Resorbable Craniomaxillofacial 	Orbital Floor Plate, 1.5mm System, 	Left or right	$615.00	Only to be funded where used in a

Fixation System	service for which a Medicare Benefit

is payable

BI934	Lactosorb Distraction System	Plate, drive screw and distractor, PGA/PLLA, 	Small, Medium, Large	$3,500.00

Ti

Cochlear Limited

CO034	Face to Face	Fixture MK II - Titanium Composition	10mm	$635.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

CO035	Face to Face	Cover Screw with Internal Hexagon	One Size Only	$142.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

CO036	Face to Face	Abutment Complete - Titanium	3, 4, 5.5, 7mm	$412.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

CO037	Face to Face	Console Abutment Unigrip - Titanium	30, 60, 90, 110 Degrees	$895.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

CO038	Face to Face	Healing Abutment Unigrip - Titanium	7mm	$285.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

CO039	Flangeless Fixtures	Titanium Fixtures part numbers	3.0mm, 4.0mm	$635.00

90611, 90613

Prostheses List by Category and Sponsor	Page 428 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Device Technologies Australia Pty Ltd

DE030	Style 468 Biodimensional Saline-filled 	Silicone shell filled with saline	195 - 205 cm3 x 620 - 650 cm3	$1,040.00	In strict accordance with the

Mammary Implant	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE031	Style 363 Biodimensional Low Anatomical 	Silicone shell filled with saline, for 	230 - 240 cm3 x 650 - 685 cm3	$1,200.00	In strict accordance with the

Saline-Filled Mammary Implant	Reconstruction	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE033	Style 168 Biocell Textured Mammary Implant	Silicone shell filled with saline	120 - 150 cm3 x 510 - 540 cm3	$685.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE034	Biospan Tissue Expander	Silicone Elastomer. Saline filled.	200 - 850 cm3	$1,244.00	Only to be funded where used in a

service for which a medicare benefit is

payable.

DE100	McGhan Style 150 Biodimensional Biocell 	Full height, Short Height	9.5 - 16cm width x 8 - 17cm height 	$2,294.00	In strict accordance with the

Textured Expand Gel/Saline Filled Mammary 	x 4.2 - 7.1cm projection	requirements of the Medicare Benefits

Implant, Low Pole	 Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE102	McGhan Style 110 & 120 Biocell Textured 	Round: Moderate or high profile	90 - 650 grams	$732.00	In strict accordance with the

Gel-Filled Mammary Implant	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE104	McGhan Style 40 & 45 Intrashiel Gel-Filled 	Round: standard or high profile	120 400 grams	$610.00	In strict accordance with the

Round Mammary Implant	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE106	CUI Type MLP, Microcell, DRIE Low Profile	Low or High profile, textured surface	100 - 525 grams	$685.00	In strict accordance with the

Gel-Filled  Mammary Implant; CUI Type 	requirements of the Medicare Benefits

MHP, Microcell, DRIE High Profile Gel-	 Schedule Items Number 45524,

Filled  Mammary Implant	45527, 45528, 45542, 45552,

45554, 45555 only.

Prostheses List by Category and Sponsor	Page 429 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

DE109	CUI styles CML, CMM, CFM and CMH	Silicone Cohesive Gel-Filled Breast Implant	80 - 800 grams	$750.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE110	CUI Type SLD, DRIE, Low Profile Smooth 	Low or High Profile	100 - 800 grams	$610.00	In strict accordance with the

Silicone Gel-filled Mammary Implant; CUI 	requirements of the Medicare Benefits

Type SHD, DRIE, High Profile Smooth 	 Schedule Items Number 45524,

Silicone Gel-filled Mammary Implant	45527, 45528, 45542, 45552,

45554, 45555 only.

DE120	McGhan Style 410 & 410 Soft Touch 	Full, moderate or low height, Extra Full, Full,	125 - 775 grams	$1,200.00	In strict accordance with the

Biodimensional Biocell Textured Cohesive 	 moderate or low projection	requirements of the Medicare Benefits

Gel-filled Mammary Implant	 Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

DE121	Mammary Prosthesis	Smooth Surface - Saline	120 to 510cc	$610.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

Global Scientific Pty Ltd

GS204	Integra Artificial Skin	-	Medium - 10 x 25cm	$2,900.00

GS205	Integra Artificial Skin	-	Small - 10 x 12.5cm	$1,900.00

GS206	Integra Artificial Skin	-	Large - 20 x 25cm	$5,634.00

Henry Schein/Halas

HD006	Dental Implants	Titanium type 4 and 5	3.25 to 6.0mm diameter, 6.0 to 	$96.00	$350.00	Only to be funded where used in a

52.5mm length	service for which a Medicare Benefit

is payable

Implant Innovations Australia Pty Ltd

NW001	3i Abutment Complete	Titanium	3.25 - 6mm diameter	$8.00	$60.00	Endosseous Implants -  (Not to be

included for dental treatment except

as a secondary procedure when partial

or complete resection of a mandible

or maxilla has been undertaken for

removal of an extensive tumour or

cyst.)

Prostheses List by Category and Sponsor	Page 430 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NW002	3i Self Tapping Threaded Implants and 3i 	Osseotite/Ice	3.25 - 6mm diameter	$52.00	$420.00	Endosseous Implants -  (Not to be

Coverscrew	included for dental treatment except

as a secondary procedure when partial

or complete resection of a mandible

or maxilla has been undertaken for

removal of an extensive tumour or

cyst.)

NW003	Biogran	Resorbable Synthetic Bone Graft	3i Biogran 750mg Glass Syringe 2 	$110.00	Only to be funded where used in a

pack; 3I Biogran 750mg Glass 	service for which a Medicare Benefit

Syringe 7 pack; 3I Biogran 500mg 	is payable

Mixing Cup 7 pack; 3I 750mg

Mixing Cup 7 pack; 3I Biogran

1500mg Mixing Cup 7 pack

Johnson & Johnson Medical Pty Ltd

JJ201	Bioplate Bone Screw 	Titanium cranial fixation system	1.5mm diam, 3-6mm length; pack 	$34.50	Only to be funded where used in a

of 5	service for which a Medicare Benefit

is payable

JJ202	Bioplate Bone Screw 	Titanium cranial fixation system	1.5mm diam; 10mm length; pack of	$55.00	Only to be funded where used in a

5	service for which a Medicare Benefit

is payable

JJ203	Bioplate Bone Screw 	Titanium cranial fixation system	1.5mm diam; 8mm length; pack of 	$26.77	Only to be funded where used in a

5	service for which a Medicare Benefit

is payable

JJ204	Bioplate Bone Plate 	Titanium cranial fixation system - straight 	1.5mm diam, 11mm length; pack of	$43.00	Only to be funded where used in a

plate, 2 hole 	 5	service for which a Medicare Benefit

is payable

JJ205	Bioplate Bone Plate 	Titanium cranial fixation system - straight 	1.5mm diam, 19mm length	$104.00	Only to be funded where used in a

plate, 4 hole 	service for which a Medicare Benefit

is payable

JJ206	Bioplate Bone Plate 	Titanium cranial fixation system - Y plate, 5 	1.5mm diam, 17mm length	$152.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ207	Bioplate Bone Plate 	Titanium cranial fixation system - X plate, 6 	1.5mm diam, 17mm length	$254.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ208	Bioplate Bone Plate 	Titanium cranial fixation system - T plate, 5 	1.5mm diam, 15mm length	$170.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 431 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ209	Bioplate Burr Hole Cover 	Titanium cranial fixation system - burr hole, 6 	1.5mm diam, 12mm length	$165.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ210	Bioplate Burr Hole Cover 	Titanium cranial fixation system - burr hole, 6 	1.5mm diam, 18mm length	$192.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ211	Bioplate Bone Plate 	Titanium cranial fixation system - box car, 4 	1.5mm diam, 10 x 10mm	$192.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ212	Bioplate Bone Plate 	Titanium cranial fixation system - box car 6 	1.5mm diam, 8 x 17mm	$231.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ213	Bioplate Bone Plate 	Titanium cranial fixation system - box car, 8 	1.5mm diam, 10 x 24mm	$281.00	Only to be funded where used in a

hole	service for which a Medicare Benefit

is payable

JJ214	Bioplate Bone Plate 	Titanium mesh for cranial fixation system, 48 	1.5mm diam, 32 x 44mm	$500.00	Only to be funded where used in a

holes	service for which a Medicare Benefit

is payable

JJ215	Bioplate Bio-100 Screw	Titanium cranial fixation system	2.4mm diam; pack of 5	$25.65	Only to be funded where used in a

service for which a Medicare Benefit

is payable

JJ216	Bioplate Bio-100 Plate 	Titanium cranial fixation system, 2 hole	1.5mm diam; pack of 5	$27.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Karma Medical

KM001	Endotine Forehead Fixation Device	Bioabsorbable sutureless fixation device.  	3.0mm & 3.5mm	$350.00	Only to be funded when used in a

Polymer made up of 82/18L - lactide/glycolide	service for which a Medicare Benefit

is payable.

LMT Surgical Pty Ltd

LM030	Synovis Coupler	High Density polyethylene (ring); Stainless 	Diameter 1-3mm	$610.00	Only to be funded where used in a

Steel (pins)	service for which a Medicare Benefit

is payable

Medical & Optical  Instruments Australia Pty Ltd

MO001	Titan Mesh	Mesh Panel, Titanium	Thickness 0.1mm, 0.2mm, 0.3mm,	$1,731.00	Only to be funded where used in a

0.6mm	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 432 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO002	Martin Mandibular Fracture System	Plate Straight, Titanium	8 to 16 hole	$629.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO003	Martin Mandibular Fracture System	Plate Angled - left and right, Titanium	5 + 8 hole to 5 + 16 hole	$988.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO004	Martin Mandibular Fracture System	Total Mandible, Titanium	5 + 17 + 5 hole	$1,422.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO012	Champy Maxillo-Facial Osteosynthesis 	Sagittal Split Plate Titanium 	4 hole	$118.00	Only to be funded where used in a

System	service for which a Medicare Benefit

is payable

MO023	Martin Microplate Osteosynthesis System	Lindorf Plate	0 to11mm	$423.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO024	Martin Mandibular Fracture System	Condylar Implant - left or right	5cm	$1,039.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO028	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter,  5 to 12mm length	$77.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO029	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter, 14 to 16mm 	$74.00	Only to be funded where used in a

length	service for which a Medicare Benefit

is payable

MO030	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter, 18 to 20mm 	$85.00	Only to be funded where used in a

length	service for which a Medicare Benefit

is payable

MO033	Martin Mandibular Fracture System	Screw Titanium	2.7mm diameter, 22 - 30mm length	$94.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO038	Martin Mandibular Fracture System	Screw Titanium	2.3mm diameter, 5 - 13mm length	$48.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO041	Martin Mandibular Fracture System	Screw Titanium	2.3mm diameter, 14 - 32mm length	$61.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 433 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO044	Martin Mandibular Fracture System	Screw Titanium	2.5mm diameter, 9 - 17mm length	$56.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO045	Martin Mandibular Fracture System	Straight Plate Titanium	4 hole	$145.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO046	Martin Mandibular Fracture System	Straight Plate Titanium	6 hole	$150.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO047	Martin Mandibular Fracture System	Straight Plate Titanium	8 hole	$220.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO048	Martin Mandibular Fracture System	Straight Plate Titanium	16 hole	$267.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO049	Martin Mandibular Fracture System	Angled Plate Titanium	6 hole	$163.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO050	Martin Mandibular Fracture System	Angled Plate Titanium	8 hole	$233.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO051	Martin Mandibular Fracture System	Curved Plate Titanium	4 hole	$149.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO052	Martin Miniplate Osteosynthesis System	L Plate Titanium	4 to 6 hole, 1mm profile	$130.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO053	Martin Miniplate Osteosynthesis System	Multi Fragment	4 to 8 Hole, 0.6 - 1mm Profile	$222.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO054	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	2 hole, 1mm profile	$46.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO055	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	4 Hole, 1.0 - 0.6mm Profile	$85.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 434 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO056	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	6 Hole, 1.0 - 0.6mm Profile	$90.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO057	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	8 hole, 1mm profile	$142.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO058	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	16 hole, 1mm profile	$195.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO060	Martin Miniplate Osteosynthesis System	T Plate Titanium	4 to 6 hole, 1mm profile	$161.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO062	Martin Miniplate Osteosynthesis System	X Plate Titanium	6 hole, 1mm profile	$210.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO069	Martin Miniplate Osteosynthesis System	Screw Titanium	2mm diameter, 4 to 10mm length	$35.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO070	Martin Miniplate Osteosynthesis System	Screw Titanium	2mm diameter, 11 - 14mm length	$39.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO071	Martin Miniplate Osteosynthesis System	Screw Titanium	2mm diameter, 15 to 19mm length	$58.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO072	Martin Miniplate Osteosynthesis System	Screw Drill Free Titanium	2mm diameter, 5 to 7mm length	$39.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO073	Martin Miniplate Osteosynthesis System	Straight Plate Titanium	2 Hole 1.0 - 06mm Profile	$53.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO076	Martin Miniplate Osteosynthesis System	Straight Plate Low Profile Titanium	8 hole, 0.6mm profile	$130.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO077	Martin Miniplate Osteosynthesis System	Straight Plate Low Profile Titanium	16 hole, 0.6mm profile	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 435 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO080	Martin Miniplate Osteosynthesis System	L, H, T, Y Plate Titanium	4 - 8 Hole	$140.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO081	Martin Miniplate Osteosynthesis System	Y Plate Low Profile Titanium	4 to 6 hole, 0.6mm profile	$178.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO082	Martin Miniplate Osteosynthesis System	Multi Fragment Plate Low Profile Titanium	10 to 12 hole, 0.6mm profile	$335.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO084	Martin Miniplate Osteosynthesis System	Orbital Plate Titanium	6 - 12 Hole	$165.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO086	Martin Miniplate Osteosynthesis System	Burr Hole Cover	12 to 17mm , 0.6mm profile	$355.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO087	Martin Miniplate Osteosynthesis System	Chin Plate Titanium	2 to 8mm, 0.6mm profile	$245.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO088	Martin Miniplate Osteosynthesis System	Chin Plate Titanium	10 to14mm, 0.6mm profile	$275.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO090	Martin Micro Plate Osteosynthesis System	1mm Screw System Titanium	1mm diameter, 2-4mm length	$77.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO092	Martin Micro Plate Osteosynthesis System	1mm Screw System Titanium	1mm diameter, 5 - 6mm length	$81.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO093	Martin Micro Plate Osteosynthesis System	1mm system, Screw Titanium	1mm diameter, 7mm length	$84.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO094	Martin Micro Plate Osteosynthesis System	1mm system, Screw Emergency Titanium	1.2mm diameter,3 to 5mm length	$85.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO095	Martin Micro Plate Osteosynthesis System	1mm system, Straight Plate Titanium	4 hole 0.6mm profile	$144.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 436 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO096	Martin Micro Plate Osteosynthesis System	1mm system, Straight Plate Titanium	8 hole 0.6mm profile	$195.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO097	Martin Micro Plate Osteosynthesis System	1mm system, Straight Plate Titanium	12 hole 0.6mm profile	$243.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO098	Martin Micro Plate Osteosynthesis System	1mm system, Straight Plate Titanium	16 hole 0.6mm profile	$292.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO099	Martin Micro Plate Osteosynthesis System	1mm system, Straight Plate Titanium	24 hole 0.6mm profile	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO100	Martin Micro Plate Osteosynthesis System	1mm system, Orbital Plate Titanium	8 hole 0.6mm profile	$240.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO101	Martin Micro Plate Osteosynthesis System	1mm System L, T, Y, Double Y Plate Titanium	5 to 8 hole 0.6mm profile	$246.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO103	Martin Micro Plate Osteosynthesis System	1mm system, H Plate Titanium	11 hole 0.6mm profile	$330.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO105	Martin Micro Plate Osteosynthesis System	1mm system, Burr Hole Cover Titanium	12 to 15mm, 0.3 - 0.6mm profile	$390.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO106	Martin Micro Plate Osteosynthesis System	1mm system, Burr Hole Cover Titanium	17 to 20mm, 0.3 - 0.6mm profile	$410.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO107	Martin Micro Plate Osteosynthesis System	1.5mm system L, Double L Plate Titanium	4 to 6 hole, 0.6mm profile	$203.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO108	Martin Micro Plate Osteosynthesis System	1.5mm System Orbital Plate Titanium	6 - 10 Hole	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO111	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	2 hole, 0.6mm profile	$104.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 437 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO112	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	4 hole, 0.6mm profile	$110.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO113	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	6 hole, 0.6mm profile	$130.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO114	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	8 hole, 0.6mm profile	$145.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO115	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	16 hole, 0.6mm profile	$208.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO116	Martin Micro Plate Osteosynthesis System	1.5mm system Straight Plate Titanium	20 hole, 0.6mm profile	$263.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO117	Martin Micro Plate Osteosynthesis System	1.5mm system T Plate Titanium	6 hole, 0.6mm profile	$185.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO118	Martin Micro Plate Osteosynthesis System	1.5mm system Y Plate Titanium	5 hole, 0.6mm profile	$275.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO119	Martin Micro Plate Osteosynthesis System	1.5mm system H Plate Titanium	12 - 32 hole, 0.6mm profile	$320.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO120	Martin Micro Plate Osteosynthesis System	1.5mm system X Plate Titanium	4 to 6 hole, 0.6mm profile	$301.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO121	Martin Micro Plate Osteosynthesis System	1.5mm system Burr Hole Cover Titanium	12 to 22mm, 0.3 - 0.6mm profile	$330.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO122	Martin Micro Plate Osteosynthesis System	1.5mm Screw Titanium	1.5mm diameter, 3.5 to 8mm length	$50.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO123	Martin Micro Plate Osteosynthesis System	1.5mm Screw Titanium	1.5mm diameter, 9mm length	$59.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 438 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO124	Martin Micro Plate Osteosynthesis System	1.5mm Screw Titanium	1.5mm diameter, 11 to 13mm 	$64.00	Only to be funded where used in a

length	service for which a Medicare Benefit

is payable

MO125	Martin Micro Plate Osteosynthesis System	1.5mm Screw Titanium	1.5mm diameter, 15mm length	$71.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO126	Martin Micro Plate Osteosynthesis System	1.5mm Screw Emergency Titanium	1.8mm diameter, 3 to 7mm length	$52.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO127	Titan Mesh	Mesh Sheet Titanium	13 hole 1, 1.5, 2mm	$1,620.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO128	Titan Mesh	Mesh Plates Titanium	2 hole strip 1, 1.5, 2mm	$300.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO129	Titan Mesh	Mesh Plates Titanium	1 x 2 holes 1, 1.5, 2mm	$178.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO130	Titan Mesh	Mesh Plates Titanium	2 x 2 holes 1, 1.5, 2mm	$220.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO131	Titan Mesh	Mesh Plates Titanium	3 x 2 holes 1, 1.5, 2mm	$277.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO132	Titan Mesh	Mesh Plates Titanium	4 x 2 holes 1, 1.5, 2mm	$345.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO133	Titan Mesh	Mesh Plates Titanium	6 x 4 holes 1, 1.5, 2mm	$450.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO185	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable 	4 - 8 hole	$315.00	Only to be funded where used in a

straight plate	service for which a Medicare Benefit

is payable

MO186	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable 	L, Y, X, T, Orbital	$404.00	Only to be funded where used in a

shaped plate	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 439 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO187	Resorb-X Mesh Plate 25 x 25mm	Resorb-X Osteosynthesis System, Resorbable 	25 x 25mm - 0.3, 0.6, 1.0mm profile	$756.00	Only to be funded where used in a

mesh plate	service for which a Medicare Benefit

is payable

MO188	Resorb-X Mesh Plate 50 x 50mm	Resorb-X Osteosynthesis System, Resorbable 	50 x 50mm - 0.3, 0.6, 1.0mm profile	$1,775.00	Only to be funded where used in a

mesh plate	service for which a Medicare Benefit

is payable

MO189	Resorb-X Bone Screw	Resorb-X Osteosynthesis System, Resorbable 	1.6, 2.1, 2.4mm Dia, 4 - 9mm 	$161.00	Only to be funded where used in a

bone screw	lengths	service for which a Medicare Benefit

is payable

MO197	Titan Mesh Orbital Floor Plate (Martin)	Titan mesh - contoured orbital floor repair 	1.5mm 0.3 profile; 6 hole large/ 5 	$800.00	Only to be funded where used in a

mesh plate	hole small	service for which a Medicare Benefit

is payable

MO198	Titan Mesh (Martin)	Mesh panel - titanium	4 x 2 hole mesh plate; 1.0, 1.5 and 	$462.00	Only to be funded where used in a

2.0mm dia, 0.6 and 1.0 profile	service for which a Medicare Benefit

is payable

MO199	Martin Mandibular Fracture System	Insert spacer screw, titanium	2.7 x 3mm	$81.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MO203	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable 	29 to 31 x 104 to 106mm Mesh 	$1,330.00	Only to be funded where used in a

Mesh Plate	Plate	service for which a Medicare Benefit

is payable

MO204	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable 	125 x 125mm	$5,175.00	Only to be funded where used in a

Mesh Plate	service for which a Medicare Benefit

is payable

MO205	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable 	55mm diameter	$2,230.00	Only to be funded where used in a

Mesh Plate	service for which a Medicare Benefit

is payable

MO206	Resorb-X Plates	Resorb-X Osteosynthesis System, Resorbable 	22 Hole - Straight Resorbable Plate	$567.00	Only to be funded where used in a

Straight Plate	service for which a Medicare Benefit

is payable

MO210	Martin Mandibular Fracture System	Pre-Formed Titanium Mandibular 	2.3mm angled, symphysis and 	$920.00	Only to be funded where used in a

Reconstruction Plate	straight plate; 12-27 holes	service for which a Medicare benefit

is payable

MO212	Martin Fixation Device Internal - Screw	Sterile Titanium Screw	2.00mm diameter; 4 to 11mm 	$294.00	Only to be funded where used in a

length	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 440 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO213	Martin Fixation Device Internal Screw	Sterile Titanium Screw	2.0mm diameter; 12 - 20mm length	$357.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO214	Martin Fixation Device Internal - plate	Sterile Titanium Straight Plate	2.0mm system 4 - 6 hole	$152.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO215	Martin Fixation Device Internal - Plate	Sterile Titanium Straight Plate	2.0mm system 8 - hole	$231.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO216	Martin Fixation Device Internal - Plate	Sterile Titanium Shaped Plate	2.0mm system 4 - 12 hole	$235.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO217	Martin Fixation Device Internal - Screw	Sterile Titanium Screw	2.3mm diameter 5 to 11mm length	$325.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO218	Martin Fixation Device Internal - Screw	Sterile Titanium Screw	1.0mm to 1.2mm diameter 2 to 	$466.00	Only to be funded where used in a

7mm length	service for which a Medicare Benefit

is payable

MO219	Martin Fixation Device Internal - plate	Sterile Titanium Plate	1.0mm system 4-8 hole	$203.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO220	Martin Fixation Device Internal - Plate	Sterile Titanium straight Plate	1.0mm system 12-16 hole	$294.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO221	Martin Fixation Device Internal - plate	Sterile Titanium shaped Plate	1.0mm system 5 to 10 hole	$295.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO222	Martin Fixation Device Internal - Plate	Sterile Titanium straight Plate	1.0mm system 24 to 32 hole	$450.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO223	Martin Fixation Device Internal - Plate	Sterile Titanium shaped Plate	1.0mm system 10 to 16 hole	$355.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO224	Martin Fixation Device Internal - Plate	Sterile titanium Lindorf chin plate	1.5mm to 2.0mm diameter system	$350.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 441 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO225	Martin Fixation Device Internal - Plate	Sterile Titanium Lindorf Plate	1.5mm system left and right plate	$350.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO226	Martin Fixation Device Internal - Plate	Sterile Titanium shaped Plate	1.5mm system	$304.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO227	Martin Fixation Device Internal - Plate	Sterile Titanium plate	1.5mm system 4 to 8 hole	$205.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO228	Martin Fixation Device Internal - Plate	Sterile Titanium Plate	1.5mm system 2 hole	$131.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO229	Martin Fixation Device Internal - Screw	Sterile Titanium Screw	1.5mm to 1.8mm diameter; 3.5mm 	$470.00	Only to be funded where used in a

to 9mm length	service for which a Medicare Benefit

is payable

MO230	Martin Fixation Device Internal - Screw	Sterile Titanium Screw	1.5mm to 1.8mm diameter; 10 to 	$545.00	Only to be funded where used in a

15mm length	service for which a Medicare Benefit

is payable

MO231	Resorb X Plates Various Sizes	Resorb Osteosynthesis System resorbable 	11 x 126mm	$871.00	Only to be funded where used in a

mesh plate	service for which a Medicare Benefit

is payable

MO232	Martin Fixation Device Internal - Plate	Sterile Titanium Y & Double Y Plate	2.0mm System	$226.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO233	Internal Distraction Device	Titanium	1.5mm	$3,370.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO234	Martin Rigid External Distraction System II 	RED II Titanium Cranial Fixation Screws	45-55mm	$165.00	Temporary approval, pending review

(REDII)	of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO235	Internal Distraction Device Kit	Titanium	1.5mm	$7,600.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO236	Martin Rigid External Distraction System II 	RED II Aluminium Cranium Frame and 	One Size Only	$8,147.00	Temporary approval, pending review

(RED II)	Carbon Fibre Rods	of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

Prostheses List by Category and Sponsor	Page 442 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MO237	Martin Fixation Device Internal - Plate	Sterile Titanium Straight Plate	1.5 - 2.0mm System 16 - Hole	$294.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO238	Martin Fixation Device Internal - Plate	Sterile Titanium Straight Plate	1.5mm System 8 - Hole	$205.00	Temporary approval, pending review

of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO239	Intra-Oral Distraction System	Titanium Distraction Device	1.0mm - 2.7mm	$7,800.00	Temporary approval, pending review

of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO240	Martin Rigid External Distraction Device II 	RED II Titanium Maxillary Fixation	1.5mm - 1.8mm	$1,696.00	Temporary approval, pending review

(REDII)	of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO241	Martin Rigid External Distraction System II 	RED II Titanium Threaded Fixation Screws	2.0mm - 15-21mm	$180.00	Temporary approval, pending review

(REDII)	of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO242	Martin Rigid External Distraction Device II 	RED II Titanium Fixation Plate	1.5mm	$145.00	Temporary approval, pending review

(REDII)	of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO246	Martin Rigid External Distraction System II 	REDII Aluminium and Carbon Fibre Cross-	One size only	$1,560.00	Temporary approval, pending review

(REDII)	Bar Assembly	of product group. Only to be funded

where used in a service for which a

Medicare Benefit is payable

MO250	Martin Microplate Osteosynthesis system	1.5mm Titanium Plate	2-6 Hole	$226.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MO251	RESORB X OSTEOSYNTHESIS SYSTEM 	Orbital Floor Mesh	0.6mm Profile	$1,580.00	Only to be funded where used in a

MESH PLATE	service for which a Medicare Benefit

is payable

MO258	Resorb x SonicWeld Rx Osteosynthesis 	SonicWeld Rx Bone Pin Screw	1.6 - 2.1mm diameter, 4 - 9mm	$180.00

System Bone Screw/Pin

Prostheses List by Category and Sponsor	Page 443 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical Device Alliance Pty Ltd

MP003	Facial Implant Nasal "L" Shaped	White, pink	1.9 x 4.1 x 2.8cm, 1.8 x 4 x 2.9cm	$227.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP004	Testicular Implant Filled with Elastomer	5.3-45.8cc	$480.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP005	Calf Implants	Asymmetrical shape, silicone gel smooth  	85-180cc	$517.00	Only to be funded where used in a

surface	service for which a Medicare Benefit

is payable.

MP006	Testicular Implant	Silicone gel 3200	5-38cc	$480.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP007	Facial Implant Malar	Malar	Small, medium, large/left or right	$331.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP008	Calf Implant	Silicone elastomer - smooth surface, 	70-175cc	$517.00	Only to be funded where used in a

asymmetrical shape,	service for which a Medicare Benefit

is payable.

MP009	Facial Implant Nasal	Nasal dorsum	Small, large	$279.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP010	Facial Implant Chin	Anotomical chin	Small, medium, large/left, right	$275.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP011	Phalangeal Joint Implant	Flexible monoblock implant to restore finger 	00-7	$434.00	Only to be funded where used in a

articulation, 2001	service for which a Medicare Benefit

is payable.

MP012	Facial Implant Chin	Chin	Small, medium, large/left, right	$258.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP013	Facial Implant Nasal	Zygomatic	Right, left	$310.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP014	Calf Implant	Silicone elastomer - smooth surface, 	15-105cc	$517.00	Only to be funded where used in a

symmetrical shape	service for which a Medicare Benefit

is payable.

Prostheses List by Category and Sponsor	Page 444 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MP015	Testicular Implant	Silicone with holes for fixation 3230	5-38cc	$480.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP016	Calf Implants	Symmetrical shape, silicone gel	12-140cc	$455.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP017	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Smooth	100-300cc	$620.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP018	Gluteal Implants filled with Gel	Oval Shape, Silicone Gel, Textured Surface	200-400cc	$930.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP019	Gluteal Implants filled with Gel	Round Shape, Silicone Gel, Smooth Surface	200-300cc	$579.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP020	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Smooth 	95-260cc	$620.00	Only to be funded where used in a

Surface	service for which a Medicare Benefit

is payable

MP021	Gluteal Implants filled with Elastomer	Oval Shape, Silicone Elastomer, Textured 	225-420cc	$930.00	Only to be funded where used in a

Surface	service for which a Medicare Benefit

is payable.

MP022	Gluteal Implants filled with Elastomer	Round Shape, Silicone Elastomer, Smooth 	250-340cc	$641.00	Only to be funded where used in a

Surface	service for which a Medicare Benefit

is payable.

MP023	Silicone Sheets	Sheet standard-small with reinforcement	100mm	$80.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP024	Silicone Sheets	Sheet standard - large with reinforcement	200mm	$250.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP025	Silicone Sheets	Sheet standard - small without reinforcement	100mm	$80.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP026	Silicone Sheets	Sheet standard - large without reinforcement	200mm	$250.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

Prostheses List by Category and Sponsor	Page 445 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MP027	Silicone Sheets	Sheet extra strength small	100mm	$100.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP028	Silicone Sheets	Sheet extra strength large	200mm	$500.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP029	Silicone Sheets	Block standard super soft	Soft, Medium, Hard	$400.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP030	Silicone Sheets	Block coloured, single consistency, white/pink	One size only	$400.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP031	Silicone Sheets	Block coloured, double consistency, 	One size only	$500.00	Only to be funded where used in a

white/pink	service for which a Medicare Benefit

is payable.

MP032	Suspension Sheet for Mammoplasty	Silicone sheet - textured	0.3mm, 29cm x 17cm;	$250.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP033	Suspension Sheet for Mammoplasty	Silicone sheet - polyurethane coated	3mm, 29cm x 17cm	$250.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP034	Facial Implant - Ear	One size only	$496.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP035	Facial Implant Malar	Malar Anatomical	Small, medium, large/left or right	$330.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

MP036	Infraclavicular Implant	Infraclavicular Implant	14cc; 20cc; 38cc; 63cc; 122cc	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP037	Pectoral Implants	Gel - Smooth surface	190cc - 300cc	$950.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP038	Pectoral Implants	Elastomer - Smooth surface	190cc - 300cc	$950.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 446 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MP039	Pectoral Implants	Elastomer - Textured surface	190cc - 300cc	$980.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP040	Tissue Expander	Round Model, Smooth, 	50-1000ml	$600.00	Only to be funded where used in a

Remote Port	service for which a Medicare Benefit

Models # 800, 807, 809	is payable

MP041	Tissue Expander	Double Chamber, Smooth, 	320-850	$820.00	Only to be funded where used in a

Remote port	service for which a Medicare Benefit

Model # 730	is payable

MP042	Silimed Tissue Expanders	Anatomical Model # 20760, 20769	200-800ml	$1,000.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP043	Tissue Expander	Double Chamber, Textured	320-850	$1,500.00	Only to be funded where used in a

Surface, Magnetic Valve Model	service for which a Medicare Benefit

# 20739	is payable

MP044	Tissue Expander	Double Chamber, Textured	470-780	$1,600.00	Only to be funded where used in a

Surface, Magnetic Valve, with suture tabs, 	service for which a Medicare Benefit

Model # 20799	is payable

MP045	Tissue Expander	Crescent model, Smooth,	12-700ml	$600.00	Only to be funded where used in a

Remote Port	service for which a Medicare Benefit

Models # 820, 827, 829	is payable

MP046	Tissue Expander	Rectangular model, Smooth,	30-1000ml	$600.00	Only to be funded where used in a

Remote Port	service for which a Medicare Benefit

Models # 810, 819, 817	is payable

MP047	Silimed Tissue Expanders	Longditudinally Curved Model # 830, 831	220-520ml	$850.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP048	Silimed Tissue Expanders	Ball Shaped Orbital Model # 741, 747	3-60ml	$480.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP049	Silimed Tissue Expanders	Auricular Model # 841, 847	16-55ml	$480.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MP050	Silimed Tissue Expanders	Calf Model # 880, 882	145-185ml	$500.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 447 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MP051	Silimed Tissue Expanders	Finger Syndactylism Model # 851, 857	1-5ml	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Medical Vision Australia Pty Ltd

MF006	Pip Breast Implant Gel Filled	Reconstruction Anatomical Textured	180cc to 600cc	$610.00	$850.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF007	Pip Breast Implant Gel Filled	Asymmetric Textured Right	200cc to 450cc	$1,200.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF008	Pip Breast Implant Gel Filled	Asymmetric textured Left	200cc to 450cc	$1,200.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF009	Pip Breast Implant Gel Filled	Round Smooth Standard profile	85cc to 705cc	$700.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF010	Pip Breast Implant Gel Filled	Round Smooth High profile	90cc to 680cc	$700.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF011	Pip Breast Implant Gel Filled	Round textured Standard profile	85cc to 705cc	$700.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF012	Pip Breast Implant Gel Filled	Round Textured High profile	90cc to 680cc	$610.00	$700.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

Prostheses List by Category and Sponsor	Page 448 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MF013	Pip Breast Implant Gel Filled	Round Smooth Extra High profile	245cc to 495cc	$750.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MF014	Pip Breast Implant Gel Filled	Round Textured Extra High profile	245cc to 495cc	$750.00	In strict accordance with the

requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

Medtronic Australasia Pty Ltd

MC374	TiMesh Rigid Fixation Bone Grafting and 	Titanium,  Plate	Mesh, Fan blades 11 - 18mm, Ohata	$198.00	Only to be funded where used in a

Plating System	 8.4 - 10mm	service for which a Medicare Benefit

is payable

MC383	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Y Plate Double and Single	5 - 8 hole	$433.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC385	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Straight Plate	2 - 20 hole	$148.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC386	TiMesh Rigid Fixation Bone Grafting and 	Titanium, T Plate	4 - 8 hole	$250.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC387	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Square Grid Mesh	Large	$900.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC388	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Square Grid Mesh	Medium	$392.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC389	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Square Grid Mesh	Small	$123.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC390	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Screw - Cruciate Head, 12 point 	Diameter 1.0mm - 2.4mm, length 2 	$66.00	Only to be funded where used in a

Plating System	Flat Head	- 19mm	service for which a Medicare Benefit

is payable

MC391	TiMesh Rigid Fixation Bone Grafting and 	Titanium, L Plate (Left and right 	4 - 10 hole	$392.00	Only to be funded where used in a

Plating System	configurations)	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 449 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC392	TiMesh Rigid Fixation Bone Grafting and 	Titanium, H Plate	6 - 11 hole	$204.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC393	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Z Plate Left and Right	4 hole - 5mm, 9.5mm	$392.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

MC512	TiMesh	Maxillary Prosthesis	One size only	$1,990.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC513	TiMesh	Full Mandible	One size only	$1,920.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC514	TiMesh	Mandibular Angle, Left/Right	One size only	$1,010.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC515	TiMesh	Hemimandible, Left/Right	One size only	$605.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC516	TiMesh	Mandibular Symphysis	One size only	$1,212.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC517	TiMesh	Mandibular "J" Plate	One size only	$402.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC518	TiMesh	Titanium Mesh Panel	121 x 72mm - 125 x 125mm	$572.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC519	TiMesh	Squareplate	4 holes x 1mm - 4 holes x 2.2mm	$113.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC520	TiMesh	X Plate	4 holes x 1mm - 4 holes x 2.2mm	$113.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC521	TiMesh	Naso-Orbital-Ethmoid 	1mm - 2.2mm;  Complex 1, 	$506.00	Only to be funded where used in a

Complex 2, Complex 3	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 450 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC522	TiMesh	Curved Plate:  Standard, Rigid, Left, Right	1mm x 12 holes	$206.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC523	TiMesh	Square-rectangular Gridmesh Panel	1.0 x 4mm - 2.2 x 4mm	$515.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC524	TiMesh	Isogrid Panel	One size only	$392.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC525	TiMesh	Sugar Mesh Panel / Grid	11 x 7.5cm	$310.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC526	TiMesh	Surgical Mesh:  Anterior, Posterior, Modified	One size only	$6,516.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC527	TiMesh	Lateral Mesh:  Left, Right	One size only	$5,000.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC528	TiMesh	Cranial Custom Mesh	121mm x 72mm - 152  x 152mm	$9,930.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC547	Macropore	Z Plates	10 hole	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC548	Macropore	Cranial Recon	29 - 64mm	$520.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC549	Macropore	Cranial Recon	65 - 165mm	$450.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC550	Macropore	Rectangle Plates	4 hole	$155.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC551	Macropore	Protective Disc	25mm	$150.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 451 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC552	Macropore	Rectangle Plates	8 hole	$155.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC553	Macropore	Oblong Plates	6 - 8 hole	$155.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC554	Macropore	CraniDisk	23 - 28mm	$182.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC555	Macropore	Oblique Plates	6 - 8 hole	$155.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC556	Macropore	Protective Sheets	50 x 50 x 0.5mm - 50 x 50 x 	$800.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC557	Macropore	Protective Sheets	25 x 25 x 0.5mm - 25 x 25 x 	$380.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC558	Macropore	Orbital Floor Liner	30mm	$610.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC559	Macropore	L Plates	8 hole, Left & Right	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC560	Macropore	Protective Sheets	60 x 80 x 0.5mm - 60 x 80 x 	$890.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC561	Macropore	Protective Sheets	100 x 100 x 0.5mm - 100 x 100 x 	$1,430.00	Only to be funded where used in a

1.0mm	service for which a Medicare Benefit

is payable

MC562	Macropore	Y Plates	7 hole	$160.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC563	Macropore	Straight Plates	4 hole	$110.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 452 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC564	Macropore	Straight Plates	8 hole	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC565	Macropore	Straight Plates	20 hole	$220.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC566	Macropore	C Plates	8 hole	$180.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC567	Macropore	Clover Leaf Plates	4 hole	$155.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC568	Macropore	Bur Hole Cover	25mm	$155.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC569	Macropore	Screws	2.0mm x 4mm - 3.0mm x 14mm	$48.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC570	Macropore	Tacks	1.5 x 4mm - 2.0 x 6mm	$47.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC571	Timesh	12 Point Screws	3 - 20mm	$145.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC572	Timesh	Internal Drive Screws	3 - 6mm	$87.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC573	Timesh	Rescue Screws	3 - 7mm	$110.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC574	Timesh	X-Drive Screws	2 - 15mm	$76.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC575	Timesh	Rigid Straight Plates	1-20 Hole	$805.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 453 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC576	Timesh	Double Y Plates	3 Hole - 2.5mm - 7mm	$900.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC580	Macropore	Locks	2 - 20mm	$700.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MC619	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.0mm system. Composition: 	113mm x 77mm, 0.3mm. 113mm x	$1,386.00	Only to be funded where used in a

Grafting and Plating System	Titanium	 77mm, 0.6mm.	service for which a Medicare Benefit

is payable

MC620	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System	148mm x 148mm, 0.6mm	$1,786.00	Only to be funded where used in a

Grafting and Plating System	service for which a Medicare Benefit

is payable

MC621	TiMesh  Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System. Composition: 	50mm x 56mm, 0.3mm. 50mm x 	$700.00	Only to be funded where used in a

Grafting and Plating System	Titanium	56mm, 0.6mm	service for which a Medicare Benefit

is payable

MC622	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 1.5mm System. Composition: 	113mm x 77mm, 0.3mm. 113mm x	$1,386.00	Only to be funded where used in a

Grafting and Plating System	Titanium	 77mm, 0.6mm	service for which a Medicare Benefit

is payable

MC623	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 2.2mm System. Composition: 	114mm x 82mm, 0.6mm	$1,450.00	Only to be funded where used in a

Grafting and Plating System	Titanium.	service for which a Medicare Benefit

is payable

MC624	TiMesh Titanium Rigid Fixation Bone 	FlexMesh 2.2mm System. Composition: 	154mm x 154mm, 0.6mm	$2,243.00	Only to be funded where used in a

Grafting and Plating System	Titanium.	service for which a Medicare Benefit

is payable

MC625	Modified Dual TiMesh	TiMesh Surgical Mesh Modified, includes two	121mm x 77mm. 152mm x 152mm.	$12,250.00	Only to be funded where used in a

cranial plates. Composition: Titanium	service for which a Medicare Benefit

is payable

MC678	TiMesh Rigid Fixation Bone Grafting and 	Titanium, Universal Plate	12h	$255.00	Only to be funded where used in a

Plating System	service for which a Medicare Benefit

is payable

Mentor Medical Systems

MN001	Mentor Radovan Tissue Expander	-	Volume 25cc - 1000cc	$670.00	Only to be funded where used in a

service for which a medicare benefit is

payable.

MN002	Expanders, skin	-	Volume 350cc - 800cc	$1,000.00	Only to be funded where used in a

service for which a medicare benefit is

payable.

Prostheses List by Category and Sponsor	Page 454 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MN003	Terino Malar Shell Implants	Solid-silicone, Implantech	Small, medium, large, xlarge	$490.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

MN004	Mentor Siltex Spectrum Saline Tissue 	Saline Mammary Prostheses	Volume 275cc - 650cc	$1,244.00	In strict accordance with the

Expander	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN010	Mentor Saline-Filled Anterior Diaphragm 	Mammary Prothesis - Smooth	125 to 700cc	$610.00	In strict accordance with the

Valve Mammary Prosthesis 	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN011	Mentor Saline Siltex Anterior Diaphragm 	Mammary Prothesis - Textured	125 to 475cc	$685.00	In strict accordance with the

ValveMammary Prosthesis	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN013	Mentor Siltex Becker Expander/Mammary 	150, 200, 250, 300, 350, 400, 500, 	$2,294.00	In strict accordance with the

Prostheses	600, 700. 800cc	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN014	Mentor Medical Systems Smooth Low Bleed 	100,125,150,175,200,225,250,275,	$610.00	In strict accordance with the

Gel-Filled,  Mammary Prostheses Breast, 	300,325,400,450,500,550,600,700,	requirements of the Medicare Benefits

Permanently Implantable	800cc	 Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN015	Mentor Siltex Low Bleed Gel-Filled (Moderate	100,125,150,175,200,225,250,275,	$685.00	In strict accordance with the

Profile) Mammary Prostheses Breast, 	300,325,350,375,400,500,550,600,	requirements of the Medicare Benefits

Permanently Implantable	700,800cc	 Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN016	Mentor Siltex Low Bleed Gel-Filled (High 	75, 200, 225, 250,  275, 300, 325, 	$685.00	In strict accordance with the

Profile) Mammary Prostheses Breast, 	350, 400, 450, 500, 550cc	requirements of the Medicare Benefits

Permanently Implantable	 Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

Prostheses List by Category and Sponsor	Page 455 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MN017	Mentor Medical Systems Contour Profile Gel-	120,135,155,180,215,245,280,315,	$1,200.00	In strict accordance with the

filled Mammary Prostheses, Breast, 	355,395,440,480,530,640,775cc	requirements of the Medicare Benefits

Permanently Implantable	 Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only.

MN018	Smooth High Profile Gel-filled Mammary 	Mammary prostheses	125cc-Model 350-1254BC; 150cc-	$610.00	In strict accordance with the

Prostheses	Model 350-1504BC; 175cc-Model 	requirements of the Medicare Benefits

350-1754BC; 200cc-Model 350-	 Schedule Items Number 45524,

2004BC; 225cc-Model 350-	45527, 45528, 45542, 45552,

2254BC; 250cc-Model 350-	45554, 45555 only.

2504BC; 275cc-Model 350-

2754BC; 300cc-Model 350-

3004BC; 325cc-Model 350-

3254BC; 350cc-Model 350-

3504BC; 375cc-Model 350-

3754BC; 400cc-Model 350-

4004BC; 425cc-Model 350-

4254BC; 450cc-Model 350-

4504BC; 500cc-Model 350-

5004BC; 550cc-Model 350-

5504BC, 600cc-Model 350-

6004BC; 650cc-Model 350-

6504BC; 700cc-Model 350-

7004BC; 800cc-Model 350-8004BC

MN019	Siltex High Profile Gel-filled Mammary 	Mammary Prostheses	125cc-Model 354-4125; 150cc-	$750.00	In strict accordance with the

Prostheses	Model 354-4150; 175cc-Model 354-	requirements of the Medicare Benefits

4175; 200cc-Model 354-4200; 	 Schedule Items Number 45524,

225cc-Model 354-4225; 250cc-	45527, 45528, 45542, 45552,

Model 354-4250; 275cc-Model 354-	45554, 45555 only.

4275; 300cc-Model 354-4300;

325cc-Model 354-4325; 350cc-

Model 354-4350; 375cc-Model 354-

4375; 400cc-Model 354-4400;

425cc-Model 354-4425; 450cc-

Model 354-4450; 500cc-Model 354-

4500; 550cc-Model 354-4550;

600cc-Model 354-4600; 650cc-

Model 354-4650; 700cc-Model 354-

4700; 800cc-Model 354-4800

Prostheses List by Category and Sponsor	Page 456 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MN020	Implantech Facial Implants - Chin Prostheses	Implantech Anatomical Chin;Flowers 	Extra small, Small, Medium, Large,	$420.00	Only to be funded where used in a

Mandibular Glove;Terino Extended 	 Extra Large	service for which a Medicare Benefit

Anatomical Chin;Terino Square Chin Style 	is payable.

I;Mittleman Pre-Jowl;Glasgold Wafer for Pre-

Jowl Chin;Mittleman Pre-Jowl Chin;Glasgold

Wafer for Extended Anatomical Chin;Silicone

Chin;Terino Square Chin II Composition

Implant Grade Silicone Elastomer

MN021	Implantech Facial Implants - Nasal Prostheses	Implantech Shirakabe Nasal Implant; 	Extra Small, Small, Medium, 	$279.00	Only to be funded where used in a

Implantech Flowers Dorsal Nasal Implant; 	Large, Extra Large	service for which a Medicare Benefit

Implantech Dorsal Columella Implant; 	is payable.

Implantech Brink Peri-Pyriform Implant;

Implantech Rizzo Dorsal Nasal Implant;

Composition: Implant Grade Silicone

Elastomer

MN023	Smooth Round High Profile Saline-Filled 	Model 350-3170; Model 350-3190; Model 	170cc, 190cc, 210cc, 230cc, 250cc, 	$610.00	Only to be funded where used in a

Mammary Prosthesis	350-3210; Model 350-3230; Model 350-3250; 	270cc, 290cc, 310cc, 330cc, 380cc, 	service for which a Medicare Benefit

Model 350-3270; Model 350-3290; Model 	420cc, 460cc, 500cc, 560cc, 630cc	is payable.

350-3310; Model 350-3330; Model 350-3380;

Model 350-3420; Model 350-3460; Model

350-3500; Model 350-3560; Model 350-3630

MN024	Round Cohesive Gel-Filled Mammary 	Model 354-1009; Model 354-1259; Model 	100cc, 125cc, 150cc, 175cc, 200cc, 	$730.00	Only to be funded where used in a

Prosthesis	354-1509; Model 354-1759; Model 354-2009; 	225cc, 250cc, 275cc, 300cc, 325cc, 	service for which a Medicare Benefit

Model 354-2259; Model 354-2509; Model 	350cc, 375cc, 400cc, 450cc, 500cc, 	is payable.

354-2759; Model 354-3009; Model 354-3259; 	550cc, 600cc, 700cc, 800cc

Model 354-3509; Model 354-3759; Model

354-4509; Model 354-5009; Model 354-5509;

Model 354-6009; Model 354-7009; Model

354-8009; Model 354-4009

Mondeal Medical Systems Pty Ltd

MD002	Mondeal Medical Systems Implant & 	Plate	Straight 2-6 hole	$50.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD004	Mondeal Medical Systems Implant & 	Plate	Straight 8 hole	$72.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 457 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MD005	Mondeal Medical Systems Implant & 	Plate	Straight 16 hole	$90.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD007	Mondeal Medical Systems Implant & 	Plate	L Shape Right & Left	$80.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD008	Mondeal Medical Systems Implant & 	Plate	T Shape	$98.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD009	Mondeal Medical Systems Implant & 	Plate	Y Shape	$115.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD011	Mondeal Medical Systems Implant & 	Plate	T Shape	$90.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD015	Mondeal Medical Systems Implant & 	Plate	Straight 4-6 hole	$72.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD019	Mondeal Medical Systems Implant & 	Plate	Straight 8 hole & L Shape - Right 	$121.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	& Left	service for which a Medicare Benefit

is payable

MD021	Mondeal Medical Systems Implant & 	Plate	T Shape	$143.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD022	Mondeal Medical Systems Implant & 	Plate	Y Shape	$170.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD024	Mondeal Medical Systems Implant & 	Plate	T, Y, Orbital Shape	$140.00	Only to be funded where used in a

Prostheses, Mini 2000 Reconstruction System	service for which a Medicare Benefit

is payable

MD029	Mondeal Medical Systems Implant & 	Screw 2000	Standard 4mm - 19mm	$16.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

MD035	Mondeal Medical Systems Implant & 	Screw 2000	Cross Fit, Lock Drive 4mm - 19mm	$20.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 458 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MD038	Mondeal Medical Systems Implant & 	Plate	Straight 4 - 6 hole	$82.00	Only to be funded where used in a

Prostheses, Mini 1700 Reconstruction System	service for which a Medicare Benefit

is payable

MD041	Mondeal Medical Systems Implant & 	Plate	Straight 16 hole, Y Shape	$178.00	Only to be funded where used in a

Prostheses, Mini 1700 Reconstruction System	service for which a Medicare Benefit

is payable

MD042	Mondeal Medical Systems Implant & 	Plate	Orbital Shape	$143.00	Only to be funded where used in a

Prostheses, Mini 1700 Reconstruction System	service for which a Medicare Benefit

is payable

MD043	Mondeal Medical Systems Implant & 	Plate	T, Y, Z Shape	$160.00	Only to be funded where used in a

Prostheses, Mini 1700 Reconstruction System	service for which a Medicare Benefit

is payable

MD047	Mondeal Medical Systems Implant & 	Plate	L Shape Right & Left	$132.00	Only to be funded where used in a

Prostheses, Mini 1700 Reconstruction System	service for which a Medicare Benefit

is payable

MD051	Mondeal Medical Systems Implant & 	Screw 1700	Cross Fit, Lock Drive 3mm - 17mm	$28.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

MD058	Mondeal Medical Systems Implant & 	Plate	L, T Shape	$129.00	Only to be funded where used in a

Prostheses, Micro 1200 Reconstruction 	service for which a Medicare Benefit

System	is payable

MD059	Mondeal Medical Systems Implant & 	Plate	L, Y Shape	$147.00	Only to be funded where used in a

Prostheses, Micro 1200 Reconstruction 	service for which a Medicare Benefit

System	is payable

MD062	Mondeal Medical Systems Implant & 	Plate	H Shape	$242.00	Only to be funded where used in a

Prostheses, Micro 1200 Reconstruction 	service for which a Medicare Benefit

System	is payable

MD066	Mondeal Medical Systems Implant & 	Screw 1000/1200	Cross Fit, Lock Drive 3mm - 15mm	$46.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

MD070	Mondeal Medical Systems Implant & 	Mesh	Micro 50 x 30mm	$103.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

MD071	Mondeal Medical Systems Implant & 	Mesh	Micro 100 x 60mm	$330.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 459 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MD072	Mondeal Medical Systems Implant & 	Mesh	Micro 100 x 30mm, 50 x 60mm	$165.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

MD104	Mondeal Medical Systems Implant & 	Chin Plate	4mm - 12mm	$154.00	Only to be funded where used in a

Prostheses	service for which a Medicare Benefit

is payable

National Surgical Corporation Pty Ltd

NI031	Medicon Ti Plates, Medicon Hein1 Mini 	Plates TitaniumPlate - double-T. 	.4mm - 2mm thickness X 5mm - 	$124.00	$140.00	Only to be funded where used in a

Plates and Screws, Medicon Hein1 Micro 	TitaniumPlate - Nasal. TitaniumPlate - 	80mm, up 16 holes.	service for which a Medicare Benefit

Plates and Screws, Medicon Salyer CMS 	Mandibular Angle. TitaniumPlate - Orbital. 	is payable

System, Osteosynthesis system for Hand 	TitaniumPlate - Str. Compression. Titanium,

Surgery	Chin. TitaniumPositioning plates. Titanium,

4-Hole Compression Plate, 6-Hole Plate & T

Plate, 4- 12 hole plates std and compression,

Y & Z plates 4 - 16 holes.

NI032	Medicon Ti Plates and Screws	Plates Titanium Plates, L-plate Plates, Orbital 	Medium .5mm thickness X 4 - 12 	$145.00	$169.00	Only to be funded where used in a

6-Hole Compression, 7-Hole  Compression 	holes	service for which a Medicare Benefit

Plate,  "Y12-Hole Plate "FIR", Condylar Bone	is payable

Plate, 6-Hole Compression Plate "T"

NI033	Medicon Ti Plates and Screws	Plates Titanium	Mini, .6mm thickness X 4 - 6 hole	$65.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NI044	Medicon Ti Mesh	Mesh, Titanium	Small/Medium, .5mm thick X 8mm	$258.00	Only to be funded where used in a

to 180mm wide or long.	service for which a Medicare Benefit

is payable

NI048	Medicon Ti Mesh	Mesh, Titanium	Small, .5mm thickness X 5mm to 	$427.00	Only to be funded where used in a

180mm wide or long	service for which a Medicare Benefit

is payable

NI051	Medicon Hein1 Mini Plates and Screws	Mesh Performing, Titanium	0.2mm Thickness, 75 x 180mm	$695.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NI079	Medicon Ti Plates	Plates Titanium, Straight, angled L & R.	Mini/Large, 2mm thick X 135mm - 	$475.00	Only to be funded where used in a

180mm to 11 holes.	service for which a Medicare Benefit

is payable

NI080	Medicon Leipzig Mandibular Plates and 	Angled Plates Left and Right, Titanium	165mm, 2mm Thickness	$600.00	Only to be funded where used in a

Screws 	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 460 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NI082	Medicon Ti Plates	Plates Titanium, Total Reconstruction	Extra Large, 2mm thick X 100mm -	$1,103.00	Only to be funded where used in a

130mm.	service for which a Medicare Benefit

is payable

NI083	Medicon Leipzig Mandibular Plates and 	Condylar Implants: Short & Long. Titanium	40mm-48mm	$794.00	Only to be funded where used in a

Screws 	service for which a Medicare Benefit

is payable

NI087	Medicon Ti Plates	Plates Titanium, Angled Plates Left and 	Medium/Large, 1.7mm - 2mm thick	$403.00	$420.00	Only to be funded where used in a

Right, Straight and Fracture.	 X 105mm - 160mm to 16 holes.	service for which a Medicare Benefit

is payable

NI102	Medicon Ti Plates	Plates Titanium, straight, fracture, Double Y.	Medium/Small, .4mm - 2mm thick 	$250.00	$280.00	Only to be funded where used in a

X 3 - 16 hole, To 100mm length.	service for which a Medicare Benefit

is payable

NI103	Medicon Ti Plates and Screws	Plates Titanium, L-plate. T-short.	Mini/Small, .4mm - 1mm thickness	$95.00	Only to be funded where used in a

x 4 hole and or 8mm - 15mm	service for which a Medicare Benefit

is payable

NI112	Medicon Ti Plates	Plates Titanium, Straight; Std, short and long 	Micro/Medium, .5mm - 2mm thick 	$318.20	Only to be funded where used in a

Angled; Orbital, Fracture, Double Y with bar.	X 4 hole - 6 hole, 12mm - 120mm 	service for which a Medicare Benefit

length	is payable

NI114	Medicon Ti Mesh	Mesh, Titanium, Mesh Plates,	Medium, .1mm - .5mm thick X 	$398.00	$420.00	Only to be funded where used in a

2mm to 180mm wide or long.	service for which a Medicare Benefit

is payable

NI115	Medicon Ti Mesh	Mesh, Titanium, Mesh Plates	Mini, .1mm - .5mm thick X 4mm 	$605.00	Only to be funded where used in a

to 180mm wide or long.	service for which a Medicare Benefit

is payable

NI118	Medicon Ti Plates	Plates Titanium, Osteosynthesis, Vario, 	Mini/Medium, .4mm - 1.7mm thick	$202.00	Only to be funded where used in a

Fracture, L, T ,Y H, Double Y Plates.	 X 4 -16 holes, 8mm - 12mm 	service for which a Medicare Benefit

is payable

NI121	Medicon Ti Screws	Screws Titanium	Mini/Small, .9mm - 2.7mm thick X	$52.00	Only to be funded where used in a

2mm - 17mm.	service for which a Medicare Benefit

is payable.

NI123	Medicon Ti Screws	Bone Screws, Titanium, Condylar.	Small/Medium, 2.7 - 6mm dia X 	$37.00	Only to be funded where used in a

7mm - 23mm length	service for which a Medicare Benefit

is payable.

NI126	Medicon Ti Screws	Screws Titanium, Ti-Washers for Screws	Small, 1.2 - 2.7mm dia X 2.7 - 	$27.00	$41.00	Only to be funded where used in a

17mm length	service for which a Medicare Benefit

is payable.

Prostheses List by Category and Sponsor	Page 461 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Neoss Australia Pty Ltd

NJ001	Neo Implant System	Neo Implant System - including cover screw 	Diameter 3.5, 4.0, 4.5, 5.5mm in 	$360.00	Only to be funded where used in a

and abutment	Lengths: 7, 9, 11, 13, 15, 17mm	service for which a Medicare Benefit

is payable

NJ002	Neo Implant System	Titanium Prepable Abutment	Straight or 15 degree including 	$185.00	Only to be funded where used in a

Abutment Screw and Laboratory 	service for which a Medicare Benefit

Screw	is payable

NJ003	Neo Implant System	Neo Abutment Titanium including Abutment 	universal	$175.00	Only to be funded where used in a

Screw, Laboratory Screw and 16 preformed 	service for which a Medicare Benefit

abutments	is payable

NJ004	Neo Implant System	Neo Abutment Gold-  including Abutment 	universal	$220.00	Only to be funded where used in a

Screw, Laboratory Screw and 16 preformed 	service for which a Medicare Benefit

abutments	is payable

NJ005	Neo Implant System	Matrix Abutment Titanium	Hex RP; Hex NP; C- Lect RP; C-	$115.00	Only to be funded where used in a

Lect NP; St.	service for which a Medicare Benefit

is payable

NJ006	Neo Implant System	Matrix Abutment Gold	Hex RP; Hex NP; C- Lect RP; C-	$160.00	Only to be funded where used in a

Lect NP; St.	service for which a Medicare Benefit

is payable

NJ007	Neo Implant System	Neo Ball Abutment	1, 3 & 4.5mm	$185.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NJ008	Neo Implant System	Bar Abutment Titanium	universal	$85.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NJ009	Neo Implant System	Healing Abutment with Screw	universal	$38.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Nobel Biocare

NR001	Branemark Abutments	Abutment, complete	3.5, 4.5, 5.0, 6.0, 7.0mm Diameter	$96.00	$260.00	Endosseous Implants -  (Not to be

included for dental treatment except

as a secondary procedure when partial

or complete resection of a mandible

or maxilla has been undertaken for

removal of an extensive tumour or

cyst.)

Prostheses List by Category and Sponsor	Page 462 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NR002	Branemark Cover Screws	Cover screw	3, 3.3, 3.75, 4, 4.3, 5, 5.5, 6mm	$52.00	$70.00	Endosseous Implants -  (Not to be

included for dental treatment except

as a secondary procedure when partial

or complete resection of a mandible

or maxilla has been undertaken for

removal of an extensive tumour or

cyst.)

NR003	Branemark Fixtures	Titanium Fixture	3, 4, 5mm	$96.00	$507.00	Endosseous Implants -  (Not to be

included for dental treatment except

as a secondary procedure when partial

or complete resection of a mandible

or maxilla has been undertaken for

removal of an extensive tumour or

cyst.)

NR004	Healing Abutment Complete	Abutment Coping	One Size Only	$70.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NR006	Branemark Novum System	Titanium - Kit Fixture System	One size only	$534.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

NR007	Branemark Titanium Fixture	Zygomaticus Fixture	30, 35, 42.5, 40, 45, 47.5, 50, 	$800.00	Only to be funded where used in a

52.5mm Length	service for which a Medicare Benefit

is payable

NR009	NobelDirect Implant	Dental Implant Endosseous incorporating 	10mm, 13mm, 16mm	$617.00	$625.00	To be funded only when used in

abutment, Titanium	MBS procedures relating to oncology

NR010	Replace Implant	Dental Implant Endosseous, Titanium	10mm, 13mm, 16mm	$96.00	$510.00	To be funded only when used in

MBS procedures relating to oncology

NR011	NobelPerfect Implant	Dental Implant Edosseous, Titanium	10mm, 13mm, 16mm	$860.00	To be funded only when used in

MBS procedures relating to oncology

Pacific Medical

PM001	Perioglas: 	Bioglass granules	0.5cc	$85.00	$107.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 463 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Straumann Pty Ltd

SB001	Straumann Pty Ltd	Straumann Dental Implant NNI/RN/WNI	Diameter 3.3 - 4.8mm Length 6 - 	$240.00

16mm

SB002	Straumann Pty Ltd	Straumann Healing Cap NNI/RN/WNI	Height 1.5 - 4.5 mm	$45.00

Stryker Australia Pty Ltd

SK455	Leibinger Endosseous Alveolar Ridge 	Dual plate with threaded transport rod, titianium	Single Tooth	$1,312.00

Distraction System

SK457	Maxillo-Mandibular Fixation Screw	MMF Screw, Self Drilling, Stainless Steel	Dia 1.7mm/2.0mm, Length 2mm to	$140.00

20mm

ST076	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.0mm, 4 holes	$67.00	Only to be funded where used in a

mini bone plate  Titanium	service for which a Medicare Benefit

is payable

ST077	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.0mm, 6 holes	$67.00	Only to be funded where used in a

mini bone plate  Titanium	service for which a Medicare Benefit

is payable

ST078	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.0mm, 16 holes	$108.00	Only to be funded where used in a

mini bone plate  Titanium	service for which a Medicare Benefit

is payable

ST079	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.0mm, 5 holes	$108.00	Only to be funded where used in a

mini compression plate  Titanium	service for which a Medicare Benefit

is payable

ST080	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.0mm, 4x2 holes	$345.00	Only to be funded where used in a

mini 3D plate Titanium	service for which a Medicare Benefit

is payable

ST081	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.0mm, 3x2 holes	$267.00	Only to be funded where used in a

mini 3D plate Titanium	service for which a Medicare Benefit

is payable

ST082	Leibinger Screws 	Leibinger IMF: cross-slot screws Titanium	2.0x8mm, 2.0x14mm, 2.0x20mm	$57.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST083	Leibinger Screws 	Leibinger Steinhauser Screw System: cross-	2.0x4-12mm	$35.00	$52.00	Only to be funded where used in a

slot screws Titanium	service for which a Medicare Benefit

is payable

ST084	Leibinger Screws 	Leibinger Steinhauser Screw System: cross-	2.0x13-22mm	$40.00	$52.00	Only to be funded where used in a

slot screws Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 464 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST085	Leibinger Screws 	Leibinger COM/MAND Fixation System: 	2.3x6-9mm	$37.00	Only to be funded where used in a

emergency screws Titanium	service for which a Medicare Benefit

is payable

ST086	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x4 holes	$345.00	Only to be funded where used in a

straight plate, short 	service for which a Medicare Benefit

is payable

ST087	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x4 holes	$375.00	Only to be funded where used in a

straight plate, medium Titanium	service for which a Medicare Benefit

is payable

ST088	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x4 holes	$415.00	Only to be funded where used in a

straight plate, long Titanium	service for which a Medicare Benefit

is payable

ST089	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x6 holes	$444.00	Only to be funded where used in a

straight plate, short Titanium	service for which a Medicare Benefit

is payable

ST090	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x6 holes	$475.00	Only to be funded where used in a

straight plate, medium Titanium	service for which a Medicare Benefit

is payable

ST091	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x6 holes	$515.00	Only to be funded where used in a

straight plate, long Titanium	service for which a Medicare Benefit

is payable

ST092	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x8 holes	$540.00	Only to be funded where used in a

straight plate Titanium	service for which a Medicare Benefit

is payable

ST093	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x14 holes	$629.00	Only to be funded where used in a

straight plate Titanium	service for which a Medicare Benefit

is payable

ST094	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x6 holes	$520.00	Only to be funded where used in a

angled plate Titanium	service for which a Medicare Benefit

is payable

ST095	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: C-	2.3x4 holes	$395.00	Only to be funded where used in a

shape plate Titanium	service for which a Medicare Benefit

is payable

ST096	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x4 holes	$350.00	Only to be funded where used in a

straight EDCP plate, short Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 465 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST097	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x4 holes	$315.00	Only to be funded where used in a

straight EDCP plate, medium Titanium	service for which a Medicare Benefit

is payable

ST098	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.3x6-22mm	$59.00	Only to be funded where used in a

screws Titanium	service for which a Medicare Benefit

is payable

ST099	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.7mm, 8 holes	$335.00	Only to be funded where used in a

bridging plate, straight Titanium	service for which a Medicare Benefit

is payable

ST100	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.7mm, 11 holes	$415.00	Only to be funded where used in a

bridging plate, straight Titanium	service for which a Medicare Benefit

is payable

ST101	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.7mm, 14 holes	$444.00	Only to be funded where used in a

bridging plate, straight	service for which a Medicare Benefit

is payable

ST102	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	2.7mm, 17 holes	$495.00	Only to be funded where used in a

bridging, plate, straight Titanium	service for which a Medicare Benefit

is payable

ST103	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	4+ 8 holes	$505.00	Only to be funded where used in a

bridging plate, angled, right/left Titanium	service for which a Medicare Benefit

is payable

ST104	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	4+ 11 holes	$548.00	Only to be funded where used in a

bridging plate, angled, right/left Titanium	service for which a Medicare Benefit

is payable

ST105	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	4+ 14 holes	$570.00	Only to be funded where used in a

bridging plate, right/left Titanium	service for which a Medicare Benefit

is payable

ST106	Leibinger Titanium Implant System	Leibinger COM/MAND Fixation System: 	4 + 8 holes	$415.00	Only to be funded where used in a

bridging plate, right Titanium	service for which a Medicare Benefit

is payable

ST107	Leibinger Screws 	Micro Bone Screws: square fit, self-tapping 	1.0 x 2-9mm	$68.50	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST108	Leibinger Screws 	Micro Plus Bone Screws: square fit, self-	1.2 x 2-12mm	$68.50	Only to be funded where used in a

tapping Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 466 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST110	Leibinger Screws 	Micro Plus Bone Emergency Screws: square 	1.4x3-11mm	$70.00	Only to be funded where used in a

fit, self-tapping Titanium	service for which a Medicare Benefit

is payable

ST111	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square	1.7x3-12mm	$40.00	Only to be funded where used in a

fit, self-tapping Titanium 	service for which a Medicare Benefit

is payable

ST113	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square	1.9x5mm, 1.9x7mm	$40.00	Only to be funded where used in a

fit, self-tapping Titanium 	service for which a Medicare Benefit

is payable

ST114	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square	2.0x4-19mm	$35.00	Only to be funded where used in a

fit, self-tapping Titanium 	service for which a Medicare Benefit

is payable

ST115	Leibinger Screws 	Leibinger Mini Wurzburg Bone Screws: square	2.3x6-9mm	$40.00	Only to be funded where used in a

fit, self-tapping Titanium 	service for which a Medicare Benefit

is payable

ST116	Leibinger Screws 	Leibinger Wurzburg COM/MAND Fixation 	2.7x6-16mm	$106.00	Only to be funded where used in a

System: emergency screws Titanium	service for which a Medicare Benefit

is payable

ST117	Leibinger Screws 	Leibinger Wurzburg COM/MAND Fixation 	2.7x18-22mm	$115.00	Only to be funded where used in a

System: emergency screws Titanium	service for which a Medicare Benefit

is payable

ST118	Leibinger Screws 	Leibinger Wurzburg COM/MAND Fixation 	3.0x8-22mm	$117.00	Only to be funded where used in a

System: emergency screws Titanium	service for which a Medicare Benefit

is payable

ST123	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	4 holes	$126.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST124	Leibinger Titanium Implant System	Leibinger Bone plate: LEAD plate Titanium 	4 holes	$145.00	$1,300.00	Only to be funded where used in a

Transport and base plate	service for which a Medicare Benefit

is payable

ST125	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	6 holes	$140.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST126	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	8 holes	$160.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 467 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST127	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	12 holes	$230.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST128	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	16 holes	$280.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST129	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Straight 	24 holes	$410.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST130	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: straight, L-	5 holes	$206.00	Only to be funded where used in a

shape, right/left Titanium	service for which a Medicare Benefit

is payable

ST131	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: straight, L-	8 holes	$225.00	Only to be funded where used in a

shape, right/left Titanium	service for which a Medicare Benefit

is payable

ST132	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: T-shape, 90 	5 holes	$225.00	Only to be funded where used in a

deg Titanium	service for which a Medicare Benefit

is payable

ST133	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: T-shape, 90 	7 holes	$235.00	Only to be funded where used in a

deg Titanium	service for which a Medicare Benefit

is payable

ST135	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-T-	9 holes	$290.00	Only to be funded where used in a

shape  Titanium	service for which a Medicare Benefit

is payable

ST136	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-T-	14 holes	$350.00	Only to be funded where used in a

shape  Titanium	service for which a Medicare Benefit

is payable

ST137	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: Y-shape 	6 holes	$230.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST138	Leibinger Titanium Implant System	Micro Plus Bone plate: double-Y-shape	6 - 7 Holes	$275.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST139	Leibinger Titanium Implant System	Leibinger Micro Plus Bone plate: double-Y-	7holes	$280.00	Only to be funded where used in a

shape Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 468 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST140	Leibinger Titanium Implant System	Leibinger Micro, Micro Plus and Low Profile 	8 holes	$240.00	Only to be funded where used in a

Bone plate: orbital plate, curved Titanium	service for which a Medicare Benefit

is payable

ST141	Leibinger Titanium Implant System	Leibinger Burr Hole Cover: curved  Titanium	7, 10, 14mm	$176.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST142	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x2-6mm, 0.55mm height	$51.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST143	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x7-10mm, 0.55mm height	$54.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST144	Leibinger Titanium Implant System	Leibinger 3D plate Titanium	1.2x11-12mm, 0.55mm height	$58.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST145	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self 	1.2x2-6mm	$60.00	Only to be funded where used in a

tapping Titanium	service for which a Medicare Benefit

is payable

ST146	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-	1.2x7-10mm	$65.00	Only to be funded where used in a

tapping Titanium 	service for which a Medicare Benefit

is payable

ST147	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-	1.2x11-12mm	$65.00	Only to be funded where used in a

tapping Titanium 	service for which a Medicare Benefit

is payable

ST148	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-	1.4x3mm, 1.4x5mm	$65.00	Only to be funded where used in a

tapping Titanium 	service for which a Medicare Benefit

is payable

ST149	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-	1.4x7mm, 1.4x9mm	$65.00	Only to be funded where used in a

tapping Titanium 	service for which a Medicare Benefit

is payable

ST150	Leibinger Screws 	Leibinger Micro Plus Screws: cross-slot, self-	1.4x11mm	$65.00	Only to be funded where used in a

tapping Titanium 	service for which a Medicare Benefit

is payable

ST151	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular 	4 holes, 0.55mm height	$126.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 469 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST152	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: with bar	4 holes, 6mm, 8mm, 10mm bar, 	$126.00	Only to be funded where used in a

Titanium	0.55mm height	service for which a Medicare Benefit

is payable

ST153	Leibinger Titanium Implant System	Leibinger Steinhauser plate: long with bar 	4 holes, 0.55mm height	$126.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST154	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular 	6 holes, 0.55mm height	$143.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST155	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone Plate: with bar	6 holes, 12mm, 0.55mm height	$150.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST156	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular 	8 holes, 0.55mm height	$175.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST157	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular 	16 holes, 0.55mm height	$270.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST158	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: regular 	30 holes, 6mm bar, 0.55mm height	$395.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST159	Leibinger Titanium Implant System	LeibingerSteinhauser plate: regular Titanium	30 holes, 6mm bar, 0.55mm height	$395.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST160	Leibinger Titanium Implant System	Bone plate L-shape, 90 deg, right/left	4 Holes	$195.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST162	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-shape,	4 holes, 8mm bar, 0.55mm height	$200.00	Only to be funded where used in a

90 deg, with bar, right/left Titanium	service for which a Medicare Benefit

is payable

ST163	Leibinger Titanium Implant System	Leibinger Steinhauser plate: L-shape, right/left,	5 holes, 8mm bar, 0.55mm height	$200.00	Only to be funded where used in a

with bar Titanium	service for which a Medicare Benefit

is payable

ST164	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-shape,	4 holes, 10mm bar, 0.55mm height	$205.00	Only to be funded where used in a

90 deg, with bar, right/left Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 470 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST165	Leibinger Titanium Implant System	L-shape, right/left, with Bar	5 - 7 Hole	$215.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST167	Leibinger Titanium Implant System	Leibinger Steinhauser plate: L-shape, right/left,	9 holes, 12mm bar, 0.55mm height	$210.00	Only to be funded where used in a

with bar Titanium	service for which a Medicare Benefit

is payable

ST169	Leibinger Titanium Implant System	Leibinger Steinhauser plate: T-shape, with bar 	4 holes, 8mm bar, 0.55mm height	$222.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST170	Leibinger Titanium Implant System	Bone plate T-shape with or without bar	4 HOLES	$227.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST171	Leibinger Titanium Implant System	Leibinger Steinhauser plate: T-shape, with bar 	8 holes, 12mm bar, 0.55mm height	$228.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST172	Leibinger Titanium Implant System	Mini Wurzburg Bone plate, T-shape	5 - 6 holes	$246.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST175	Leibinger Titanium Implant System	Non-compression Hand plate T-shape, 	5 Holes	$246.00	Only to be funded where used in a

right/left	service for which a Medicare Benefit

is payable

ST179	Leibinger Titanium Implant System	Non-compression Hand plate: regular, Y-shape,	5 holes, 0.55mm height	$260.00	Only to be funded where used in a

long, regular	service for which a Medicare Benefit

is payable

ST180	Leibinger Titanium Implant System	Bone plate Y-shape,	5 HOLES	$246.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST181	Leibinger Titanium Implant System	Mini Wurzburg Bone plate: T- Shape,  Y- 	5 - 6 holes	$248.00	Only to be funded where used in a

Shape & Double -T- Shape	service for which a Medicare Benefit

is payable

ST183	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: double-	6 holes, 0.55mm height	$255.00	Only to be funded where used in a

Y-shape, regular Titanium	service for which a Medicare Benefit

is payable

ST184	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: double-	6 holes, 8mm bar, 0.55mm height	$265.00	Only to be funded where used in a

Y-shape, with bar Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 471 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST185	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: double-	7 holes, 0.55mm height	$285.00	Only to be funded where used in a

Y-shape, regular Titanium	service for which a Medicare Benefit

is payable

ST188	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: 	4 holes, 6mm bar, 0.55mm height	$170.00	Only to be funded where used in a

curved, with bar Titanium	service for which a Medicare Benefit

is payable

ST189	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: 	6 holes, 8mm bar, 0.55mm height	$210.00	Only to be funded where used in a

curved, with bar Titanium	service for which a Medicare Benefit

is payable

ST190	Leibinger Titanium Implant System	LeibingerSteinhauser Orbita Bone plate: curved	6 holes, 0.55mm height	$205.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST191	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: 	8 holes, 0.55mm height	$242.00	Only to be funded where used in a

curved Titanium	service for which a Medicare Benefit

is payable

ST192	Leibinger Titanium Implant System	Leibinger Steinhauser Orbita Bone plate: 	8 holes, 0.55mm height	$238.00	Only to be funded where used in a

curved Titanium	service for which a Medicare Benefit

is payable

ST193	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Orbita Bone plate: 	10 holes, 0.55mm height	$255.00	Only to be funded where used in a

curved Titanium	service for which a Medicare Benefit

is payable

ST194	Leibinger Titanium Implant System	Leibinger Steinhauser Orbita Bone plate: 	10 holes, 0.55mm height	$253.00	Only to be funded where used in a

curved Titanium	service for which a Medicare Benefit

is payable

ST195	Leibinger Titanium Implant System	Bone plate, L-shape, 110 deg, right/left 	4 holes	$195.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST197	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: L-shape,	4 & 5 holes, with 12mm bar, 	$219.00	Only to be funded where used in a

110 deg, regular, with bar,  right/left Titanium	0.55mm height	service for which a Medicare Benefit

is payable

ST198	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	2x2 holes, 0.55mm height	$219.00	Only to be funded where used in a

square, rectangular Titanium	service for which a Medicare Benefit

is payable

ST199	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	3x2 holes, 0.55mm height	$332.00	Only to be funded where used in a

square, rectangular Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 472 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST200	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	4x2 holes, 0.55mm height	$435.00	Only to be funded where used in a

square, rectangular Titanium	service for which a Medicare Benefit

is payable

ST201	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	4x4 holes, 0.55mm, 0.55mm height	$635.00	Only to be funded where used in a

square, rectangular Titanium	service for which a Medicare Benefit

is payable

ST202	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Bone plate: 	6x4 holes, 0.55mm height	$950.00	Only to be funded where used in a

square, rectangular Titanium	service for which a Medicare Benefit

is payable

ST203	Leibinger Titanium Implant System	Leibinger Mini Wurzburg 3D Zygoma Bone 	4x2 holes, 0.55mm height	$635.00	Only to be funded where used in a

plate: rectangular Titanium	service for which a Medicare Benefit

is payable

ST204	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Bone plate: straight 	2 holes, 0.55mm height	$95.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST231	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-shape, 	4 holes	$195.00	Only to be funded where used in a

110 deg, regular Titanium	service for which a Medicare Benefit

is payable

ST232	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-shape, 	4 holes, with 6mm, 8mm, 10mm bar	$195.00	Only to be funded where used in a

110 deg, right/left Titanium	service for which a Medicare Benefit

is payable

ST233	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Flexplate: L-shape, 	5 holes, with 12mm bar	$213.00	Only to be funded where used in a

110 deg, right/left Titanium	service for which a Medicare Benefit

is payable

ST234	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Compression Bone 	4 holes, with 6 x 1mm bar	$170.00	Only to be funded where used in a

plate: L-shape, C-shape Titanium	service for which a Medicare Benefit

is payable

ST235	Leibinger Titanium Implant System	Leibinger Mini Wurzburg Compression Bone 	6 holes, with 8 x 1mm bar	$205.00	Only to be funded where used in a

plate: L-shape, C-shape Titanium	service for which a Medicare Benefit

is payable

ST236	Leibinger Titanium Screws	Bone Screw, cross-fit, self-tapping	Diameter 1.7mm, Length  3mm - 	$43.00	Only to be funded where used in a

38mm	service for which a Medicare Benefit

is payable

ST238	Leibinger Screws 	Leibinger Autopilot Bone Screws Titanium	1.7x7-8mm	$46.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 473 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST240	Leibinger Screws 	Leibinger Mini Wurzburg Emergency Screws 	1.9 x 5mm	$57.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST241	Leibinger Screws 	Leibinger Bone Screws: hex fit, self-tapping 	2.0 x 4-5mm	$31.50	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST242	Leibinger Screws 	Leibinger Bone Screws: hex fit, self-tapping 	2.0x 6-7mm	$31.50	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST243	Leibinger Screws 	Leibinger Bone Screws: hex fit, self-tapping 	2.0 x 9-10mm	$31.50	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST244	Leibinger Screws 	Leibinger Bone Screws: hex fit, self-tapping 	2.0 x 11mm	$31.50	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST245	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	75 x 12 x 0.5mm	$315.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST246	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	75 x 18 x 0.5mm	$365.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST247	Leibinger Titanium Implant System	Leibinger Mesh Implants Titanium	.75 x 27 x 0.5mm	$420.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST250	Leibinger Titanium Implant System	Mesh: Micro, Dumbach, Dynamic	Diameter 1.0mm - 2.3mm; Up to 90	$1,155.00	Only to be funded where used in a

x 90mm	service for which a Medicare Benefit

is payable

ST311	Leibinger Titanium Implant System	Plate - Leibinger Low Profile Osteosynthesis 	4 holes	$110.00	Only to be funded where used in a

System: mini, non-compression / 	service for which a Medicare Benefit

compression, straight, regular / extended, 	is payable

medium / long Titanium

ST312	Leibinger Titanium Implant System	Plate - Leibinger Low Profile Osteosynthesis 	8 holes	$155.00	Only to be funded where used in a

System: mini, non-compression, compression,	service for which a Medicare Benefit

straight, regular / extended, medium / long 	is payable

Titanium

Prostheses List by Category and Sponsor	Page 474 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST313	Leibinger Titanium Implant System	Plate - Leibinger Low Profile Osteosynthesis 	16 holes	$250.00	Only to be funded where used in a

System: mini, non-compression, compression,	service for which a Medicare Benefit

straight, regular / extended, medium / long 	is payable

Titanium

ST314	Leibinger Titanium Implant System	Leibinger Low Profile Osteosynthesis System: 	4 holes	$180.00	Only to be funded where used in a

L-shape, right/left, regular, medium, long 	service for which a Medicare Benefit

Titanium	is payable

ST315	Leibinger Titanium Implant System	Leibinger Low Profile Osteosynthesis System: 	5 holes	$203.00	Only to be funded where used in a

L-shape, right/left, long, extended Titanium	service for which a Medicare Benefit

is payable

ST325	Leibinger Screws 	Leibinger Low Profile Screws: low profile 	1.5x4-13mm, 2.0x4-20mm, 	$43.20	Only to be funded where used in a

head, self-tapping screws Titanium. 	2x21mm, 2x24mm.  Pack of 5	service for which a Medicare Benefit

is payable

ST326	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, 	2x2 holes, 0.55mm profile	$185.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST327	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, 	2x3 holes, 0.55mm profile	$253.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST328	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, 	2x4 holes, 0.55mm profile	$340.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST329	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, 	4x4 holes, 0.55mm profile	$490.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST330	Leibinger Titanium Implant System	Leibinger Micro 3D Plating System: square, 	4x6 holes, 0.55mm profile	$730.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST331	Leibinger Titanium Implant System	Leibinger Micro Bone plate Titanium	4 holes, 0.55mm profile	$110.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST332	Leibinger Titanium Implant System	Leibinger Micro Bone plate Titanium	6 holes, 0.55mm profile	$140.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST333	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight 	6 holes, 0.55mm profile	$120.00	Only to be funded where used in a

titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 475 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST334	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight 	8 holes, 0.55mm profile	$160.00	Only to be funded where used in a

titanium	service for which a Medicare Benefit

is payable

ST335	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight 	16 holes, 0.55mm profile	$253.00	Only to be funded where used in a

titanium	service for which a Medicare Benefit

is payable

ST336	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: straight 	24 holes, 0.55mm profile	$345.00	Only to be funded where used in a

titanium	service for which a Medicare Benefit

is payable

ST337	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: L-shape, 	5 holes, 0.55mm profile	$170.00	Only to be funded where used in a

right/left Titanium	service for which a Medicare Benefit

is payable

ST338	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: L-shape, 	8 holes, 0.55mm profile	$200.00	Only to be funded where used in a

right/left Titanium	service for which a Medicare Benefit

is payable

ST339	Leibinger Titanium Implant System	Leibinger Low Profile Bone Plate: T-shape, 	5, 7, 9 holes, 0.55mm profile	$185.00	Only to be funded where used in a

double-T-shape, right/left, 90 deg Titanium	service for which a Medicare Benefit

is payable

ST340	Leibinger Titanium Implant System	Leibinger Steinhauser Bone Plate: X-shape 	4, 8, 9 holes, 0.55mm profile	$185.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST341	Leibinger Titanium Implant System	Leibinger Micro Bone Plate: Y-shape, double-	6 holes, 0.55mm profile	$205.00	Only to be funded where used in a

Y-shape Titanium	service for which a Medicare Benefit

is payable

ST342	Leibinger Titanium Implant System	Leibinger Steinhauser Bone Plate: Y-shape  	8 holes, 0.55mm profile	$203.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST343	Leibinger Titanium Implant System	Leibinger 3D Plating System: micro triangular	3 holes	$170.00	Only to be funded where used in a

plate Titanium	service for which a Medicare Benefit

is payable

ST344	Leibinger Titanium Implant System	Leibinger 3D Plating System: micro circular 	8 holes	$465.00	Only to be funded where used in a

plate Titanium	service for which a Medicare Benefit

is payable

ST345	Leibinger Screws 	Leibinger Micro Screws: cross-slot, self-	1.0x2-6mm	$68.50	Only to be funded where used in a

tapping  Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 476 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST346	Leibinger Screws 	Leibinger Micro Screws: cross-slot, self-	1.2x2mm, 1.2x5mm	$65.00	Only to be funded where used in a

tapping  Titanium	service for which a Medicare Benefit

is payable

ST356	Leibinger Titanium Implant System	Paulus Chin plate Titanium	2, 4, 6, 8, 10, 12, 14mm bar, 	$280.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST358	Leibinger Screws 	Leibinger - Salzburg Lag Screw System: 	2 holes	$86.00	Only to be funded where used in a

locking plate, Titanium, with biconcave 	service for which a Medicare Benefit

washers	is payable

ST360	Leibinger Screws 	Salzburg Lag Screws Titanium	Diameter 2.0mm, Length 7- 33mm	$50.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST369	Luhr Fixation System 	Luhr Mandibular Compression System: 	Curved: 30,38, 45mm, Straight: 30,	$152.00	Only to be funded where used in a

curved, straight, metacarpal plate Vitallium	 40, 50, 60, 80mm, metacarpal: 41, 	service for which a Medicare Benefit

45mm	is payable

ST378	Luhr Fixation System 	Luhr Mandibular Compression and 	2.7x6-34mm, emergency: 3.0x10-	$113.00	Only to be funded where used in a

Reconstruction System Screws: self-tapping 	14mm	service for which a Medicare Benefit

and MCS emergency screws Vitallium	is payable

ST390	Luhr Fixation System 	Luhr Micro and Pan Fixation Systems: Micro 	40x60mm	$700.00	Only to be funded where used in a

mesh  Vitallium	service for which a Medicare Benefit

is payable

ST391	Luhr Fixation System 	Luhr Micro and Pan Fixation Systems: Micro 	60x100mm	$1,550.00	Only to be funded where used in a

mesh  Vitallium	service for which a Medicare Benefit

is payable

ST392	Luhr Fixation System 	Luhr Micro Fixation System: micro double-T-	6 holes, 6x7mm	$105.00	Only to be funded where used in a

shape plate Vitallium	service for which a Medicare Benefit

is payable

ST393	Luhr Fixation System 	Luhr Micro Fixation System: micro double-T-	7 holes, 10x10mm	$105.00	Only to be funded where used in a

shape plate Vitallium	service for which a Medicare Benefit

is payable

ST394	Luhr Fixation System 	Luhr Micro Fixation System: micro double-T-	11 holes, 10/18mm	$130.00	Only to be funded where used in a

shape plate, Y-shape plate, ladder plate Vitallium	service for which a Medicare Benefit

is payable

ST395	Luhr Fixation System 	Luhr Micro Fixation System: micro L-shape 	5 holes, 14x2.5mm, 14x4mm, 7 	$103.00	Only to be funded where used in a

plate Vitallium	holes, 22x4mm	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 477 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST396	Luhr Fixation System 	Luhr Micro Fixation System: micro straight 	4 holes, 14mm	$89.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST397	Luhr Fixation System 	Luhr Micro Fixation System: micro straight 	6 holes, 22mm	$91.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST398	Luhr Fixation System 	Luhr Micro Fixation System: micro straight 	8 holes, 30mm	$99.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST399	Luhr Fixation System 	Luhr Micro Fixation System: micro straight 	10 holes, 40mm	$106.00	Only to be funded where used in a

plate  Vitallium	service for which a Medicare Benefit

is payable

ST400	Luhr Fixation System 	Luhr Micro Fixation System: micro straight 	15 holes, 60mm	$114.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST401	Luhr Fixation System 	Luhr Micro Fixation System: micro straight 	22 holes, 90mm	$130.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST402	Luhr Fixation System 	Luhr Micro Fixation System: micro T-shape 	6 holes, 14mm, 8 holes, 22mm	$103.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST403	Luhr Fixation System 	Luhr Pan Fixation System: micro T-shape 	6 holes	$170.00	Only to be funded where used in a

plate, custom Vitallium	service for which a Medicare Benefit

is payable

ST404	Luhr Fixation System 	Luhr Micro Fixation System: ladder plate 	10 Holes, 6 x 8mm	$121.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST405	Luhr Fixation System 	Luhr Micro Fixation System: double-Y-shape 	8 Holes, 22mm	$121.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST406	Luhr Fixation System 	Luhr Micro Fixation System: emergency 	1.0x8-12mm Pack of 6	$51.84	Only to be funded where used in a

screws Vitallium	service for which a Medicare Benefit

is payable

ST407	Luhr Fixation System 	Luhr Micro Fixation System: cortical screws 	0.8x2-8mm Pack of 6	$44.28	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 478 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST408	Luhr Fixation System 	Luhr Micro Fixation System: emergency 	1.0x2-6mm	$52.00	Only to be funded where used in a

screws Vitallium	service for which a Medicare Benefit

is payable

ST409	Luhr Fixation System 	Luhr Mini Fixation System: compression, T-	4 holesx22mm, 15 holesx45mm	$82.00	Only to be funded where used in a

shape, zig-zag plate Vitallium	service for which a Medicare Benefit

is payable

ST410	Luhr Fixation System 	Luhr Mini Fixation System: compression mini	4 holes x 21mm, 5 holes x 27mm, 	$150.00	Only to be funded where used in a

curved plate Vitallium	7 holes x 38mm, 9 holes x 50mm	service for which a Medicare Benefit

is payable

ST411	Luhr Fixation System 	Luhr Mini Fixation System: compression mini	4 holes x 22mm, 4 holes x 37mm	$83.00	Only to be funded where used in a

T-shape plate Vitallium	service for which a Medicare Benefit

is payable

ST412	Luhr Fixation System 	Luhr Pan Fixation System: condensed, straight	4 holes x 12mm, 6 holes x 18mm, 	$51.00	Only to be funded where used in a

plate Vitallium	12 holes x 36mm	service for which a Medicare Benefit

is payable

ST413	Luhr Fixation System 	Luhr Pan Fixation System: double-T-shape 	4 holes, 12mm	$44.00	Only to be funded where used in a

plate Vitallium	service for which a Medicare Benefit

is payable

ST414	Luhr Fixation System 	Luhr Pan Fixation System: ladder plate 	10 holes, 39 x 9mm	$165.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST415	Luhr Fixation System 	Luhr Pan Fixation System: L-shape plate, 90 	4 holes, 16 x 9mm, 22 x 9mm	$58.00	Only to be funded where used in a

deg Vitallium	service for which a Medicare Benefit

is payable

ST416	Luhr Fixation System 	Luhr Pan Fixation System: L-shape plate, 110 	4 holes, 16 x 9mm, 22 x 9mm	$152.00	Only to be funded where used in a

deg Vitallium	service for which a Medicare Benefit

is payable

ST417	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	4 holes, 21mm	$46.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST418	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	6 holes, 33mm	$60.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST419	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	8 holes, 45mm	$71.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 479 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST420	Luhr Fixation System 	Luhr Pan Fixation System: straight plate 	16 holes, 93mm	$100.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST421	Luhr Fixation System 	Luhr Pan Fixation System: X-shape plate  	4 holes, 18mm	$72.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST422	Luhr Fixation System 	Luhr Pan Fixation System: Y-shape plate 	4 holes, 16, 22mm	$72.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST423	Luhr Fixation System 	Luhr Pan Fixation System: T-shape plate 	4 Holes, 22mm	$155.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST424	Luhr Fixation System 	Luhr Mini Fixation System: mini curved plate	4 holes, 21mm	$110.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST425	Luhr Fixation System 	Luhr Mini Fixation System: mini curved plate	5 holes, 27mm	$120.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST426	Luhr Fixation System 	Luhr Mini Fixation System: mini curved plate	7 holes, 38mm	$150.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST427	Luhr Fixation System 	Luhr Mini Fixation System: mini curved, 	11 holes, 50mm	$180.00	Only to be funded where used in a

compression plate Vitallium	service for which a Medicare Benefit

is payable

ST428	Luhr Fixation System 	Luhr Mini Fixation System: mini double-T-	4 holes, 15mm	$152.00	Only to be funded where used in a

shape plate, non-compression plate Vitallium	service for which a Medicare Benefit

is payable

ST429	Luhr Fixation System 	Luhr Mini Fixation System: mini double-T-	4 holes x 20mm	$180.00	Only to be funded where used in a

shape plate, non-compression plate Vitallium	service for which a Medicare Benefit

is payable

ST430	Luhr Fixation System 	Luhr Mini Fixation System: Z shaped plate 	4 holes x 25mm	$100.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST431	Luhr Fixation System 	Luhr Mini Fixation System: mini double-T-	9 holes, 30mm	$180.00	Only to be funded where used in a

shape plate, non-compression plate Vitallium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 480 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST432	Luhr Fixation System 	Luhr Mini Fixation System: mini 	8 holes, 60mm	$152.00	Only to be funded where used in a

fragmentation plate, non-compression plate 	service for which a Medicare Benefit

Vitallium	is payable

ST433	Luhr Fixation System 	Luhr Mini Fixation System: mini 	12 holes, 90mm	$126.00	Only to be funded where used in a

fragmentation plate, non-compression plate 	service for which a Medicare Benefit

Vitallium	is payable

ST434	Luhr Fixation System 	Luhr Mini Fixation System: non-compression 	4 holes, 2.0x17.5mm, 2.0x22mm	$94.00	Only to be funded where used in a

mini L-shape plate, right/left, 90/110 deg 	service for which a Medicare Benefit

Vitallium	is payable

ST435	Luhr Fixation System 	Luhr Mini Fixation System: compression mini	4 holes, 2.0x22mm	$152.00	Only to be funded where used in a

L-shape plate, right/left,  90/110 deg Vitallium	service for which a Medicare Benefit

is payable

ST436	Luhr Fixation System 	Luhr Mini Fixation System: non-compression 	6 holes,  2.0x37mm	$195.00	Only to be funded where used in a

mini L-shape plate, 90/110 deg, right/left 	service for which a Medicare Benefit

Vitallium	is payable

ST437	Luhr Fixation System 	Luhr Mini Fixation System: compression mini	2.0 x 37mm	$54.00	Only to be funded where used in a

L-shape plate, right/left,  90/110 deg Vitallium	service for which a Medicare Benefit

is payable

ST439	Luhr Fixation System 	Luhr Mini Fixation System:  non-compression	4 holes, 2.0 x 21mm, 2.0 x 29mm, 	$124.00	Only to be funded where used in a

mini straight plate Vitallium	2.0 x 37mm	service for which a Medicare Benefit

is payable

ST440	Luhr Fixation System 	Luhr Mini Fixation System: non-compression 	4 holes, 2.0 x 22mm	$76.00	Only to be funded where used in a

mini Y-shape plate Vitallium	service for which a Medicare Benefit

is payable

ST441	Luhr Fixation System 	Luhr Mini Fixation System: non-compression 	6 holes, 2.0 x 28mm	$76.00	Only to be funded where used in a

mini Y-shape plate Vitallium	service for which a Medicare Benefit

is payable

ST442	Luhr Fixation System 	Luhr Mini Fixation System: non-compression 	4 holes, 2.0 x 17mm, 2.0 x 22mm	$99.00	Only to be funded where used in a

mini Z-shape plate  Vitallium	service for which a Medicare Benefit

is payable

ST443	Luhr Fixation System 	Luhr Mini Fixation System: emergency screws	6mm, 8mm, 10mm, 12mm Pack of 6	$50.00	Only to be funded where used in a

Vitallium	service for which a Medicare Benefit

is payable

ST444	Luhr Fixation System 	Luhr Mini/ Pan Fixation System: emergency 	3-20mm. Pack of 6	$50.00	Only to be funded where used in a

and standard screws Vitallium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 481 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST445	Luhr Fixation System 	Luhr Mini Fixation System: small fragment 	3, 4, 6, 8, 10, 12, 14, 16, 18, 	$50.00	Only to be funded where used in a

and emergency screws Vitallium	20mm Pack of 6	service for which a Medicare Benefit

is payable

ST446	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight 	4 hole x 35mm	$295.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST447	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 45 deg 	4 holes, 40mm	$350.00	Only to be funded where used in a

plate Titanium	service for which a Medicare Benefit

is payable

ST448	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: 45 deg 	4 holes, 50mm	$380.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST449	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight 	8 holes, 60mm	$450.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST450	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight 	8 holes, 70mm	$440.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST451	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: straight 	16 holes, 120mm	$555.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST452	Wurzburg Bone Plates	Wurzburg Mandibular Fracture plate: angled, 	6 holes	$420.00	Only to be funded where used in a

60 deg Titanium	service for which a Medicare Benefit

is payable

ST476	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, 	4 holes	$64.50	Only to be funded where used in a

medium/regular/long, with/without bar  	service for which a Medicare Benefit

Titanium	is payable

ST477	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, 	6 holes	$64.50	Only to be funded where used in a

regular/long, with/without bar Titanium	service for which a Medicare Benefit

is payable

ST478	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, long 	8 holes	$97.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST479	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: straight, regular 	16 holes	$120.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 482 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST480	Wurzburg Bone Plates	Wurzburg  Mini Bone plate: H and Y-shape 	10, 12 holes	$229.00	Only to be funded where used in a

nasal plate Titanium	service for which a Medicare Benefit

is payable

ST481	Wurzburg Bone Plates	Wurzburg Bone plate: double-T-shape,  	4, 6 holes	$125.00	Only to be funded where used in a

with/without bar, 90 deg, regular/short Titanium	service for which a Medicare Benefit

is payable

ST482	Wurzburg Bone Plates	Wurzburg Bone plate: double-Y-shape , 	6, 8 holes	$150.00	Only to be funded where used in a

with/without bar,  short/long/long extended 	service for which a Medicare Benefit

Titanium	is payable

ST483	Wurzburg Bone Plates	Wurzburg Bone plate: double-Y-shape, no 	7 holes	$185.00	Only to be funded where used in a

bridge Titanium	service for which a Medicare Benefit

is payable

ST484	Wurzburg Bone Plates	L-shape, right/left, Titanium	4 - 5 holes	$104.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST486	Wurzburg Bone Plates	Wurzburg Bone plate: T-shape, with/without 	5, 6 holes	$104.00	Only to be funded where used in a

bar, 90 deg, regular/long Titanium	service for which a Medicare Benefit

is payable

ST487	Wurzburg Bone Plates	Wurzburg Bone plate: T-shape, long, 80 deg, 	5 holes	$104.00	Only to be funded where used in a

long, right/left Titanium	service for which a Medicare Benefit

is payable

ST488	Wurzburg Bone Plates	Wurzburg Bone plate: Y-shape plate, 	5 holes	$104.00	Only to be funded where used in a

regular/long Titanium	service for which a Medicare Benefit

is payable

ST489	Wurzburg Bone Plates	Wurzburg Bone plate: Z-shape plate, 100/110 	4 holes	$195.00	Only to be funded where used in a

deg, right/left Titanium	service for which a Medicare Benefit

is payable

ST490	Wurzburg Bone Plates	Wurzburg Bone Screws: self-tapping Titanium	2x4-19mm, 2.3x7-9mm. Pack of 10	$27.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST491	Wurzburg Bone Plates	Leibinger 3D Plating System: square Titanium	2x2 holes	$215.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST492	Wurzburg Bone Plates	Leibinger 3D Plating System: rectangular 	2x2 holes, 1mm thick	$215.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 483 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST493	Wurzburg Bone Plates	Leibinger 3D Plating System:  square 	3x2 holes, 1mm thick	$305.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST494	Wurzburg Bone Plates	Leibinger 3D Plating System:  square, 	4x2 holes, 1mm thick	$405.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST495	Wurzburg Bone Plates	Leibinger 3D Plating System: rectangular 	4x4 holes, 1mm thick	$900.00	Only to be funded where used in a

Titanium	service for which a Medicare Benefit

is payable

ST496	Wurzburg Bone Plates	Leibinger 3D Plating System:  square, 	6x4 holes, 1mm thick	$900.00	Only to be funded where used in a

rectangular Titanium	service for which a Medicare Benefit

is payable

ST497	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating 	2 holes	$305.00	Only to be funded where used in a

System: straight bridging plate Titanium	service for which a Medicare Benefit

is payable

ST498	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating 	3 holes	$365.00	Only to be funded where used in a

System: straight bridging plate Titanium	service for which a Medicare Benefit

is payable

ST499	Wurzburg Bone Plates	Wurburg Mandibular Reconstruction Plating 	4 holes	$415.00	Only to be funded where used in a

System: straight bridging plate Titanium	service for which a Medicare Benefit

is payable

ST500	Wurzburg Bone Plates	Wurburg Mandibular Reconstruction Plating 	5 holes	$470.00	Only to be funded where used in a

System: straight bridging plate Titanium	service for which a Medicare Benefit

is payable

ST501	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating 	6 holes	$520.00	Only to be funded where used in a

System: straight bridging plate Titanium	service for which a Medicare Benefit

is payable

ST502	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating 	7 holes	$572.00	Only to be funded where used in a

System: straight  Titanium	service for which a Medicare Benefit

is payable

ST503	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating 	3 holes	$545.00	Only to be funded where used in a

System: angled bridging plate, right/left 	service for which a Medicare Benefit

Titanium	is payable

ST505	Titanium Bone Plates	Mandibule Recon Fracture Plating System: 	5 - 9 holes	$730.00	$760.00	Only to be funded where used in a

angled plate, right/left	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 484 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST507	Wurzburg Bone Plates	Wurzburg Mandibular Reconstruction Plating 	9 holes	$1,290.00	Only to be funded where used in a

System: total mandible bridging plate 	service for which a Medicare Benefit

Titanium	is payable

ST510	Wurzburg Titanium Bone Screws	Wurzburg Bone Screws Titanium	3.5x10mm Pack of 10	$51.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST511	Wurzburg Titanium Bone Screws	Wurzburg Bone Screws Titanium	3.5x12mm Pack of 10	$53.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST512	Wurzburg Titanium Bone Screws	Wurzburg Bone Screws Titanium	3.5x14mm Pack of 10	$56.16	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST513	Wurzburg Titanium Bone Screws	Wurzburg Bone Screws Titanium	3.5x16mm Pack of 10	$59.40	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST516	Stryker Leibinger Resorbable Fixation System	Resorbable plate: blank panel Tripolymer	55x55mm 	$855.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST517	Stryker Leibinger Resorbable Fixation System	Resorbable plate: box shape  Tripolymer	2x2 holes	$187.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST518	Stryker Leibinger Resorbable Fixation System	Resorbable plate: curved plate Trypolymer	8 holes	$173.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST519	Stryker Leibinger Resorbable Fixation System	Resorbable plate: L-shape plate, 110 deg, 	7 holes	$187.00	Only to be funded where used in a

right/left Tripoymer	service for which a Medicare Benefit

is payable

ST520	Stryker Leibinger Resorbable Fixation System	Resorbable plate: ladder shape plate 	2x5 holes	$340.00	Only to be funded where used in a

Tripolymer	service for which a Medicare Benefit

is payable

ST521	Stryker Leibinger Resorbable Fixation System	Resorbable plate: straight Tripolymer	14 holes	$212.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST524	Stryker Leibinger Resorbable Fixation System	Resorbable plate: Y-shape Tripolymer	6 holes	$187.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 485 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST525	Stryker Leibinger Resorbable Fixation System	Resorbable plate: Y-shape Tripolymer	8 holes	$147.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST526	Stryker Leibinger Resorbable Fixation System	Resorbable Mesh Tripolymer	55x55mm	$1,020.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST527	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	1.7x4-5mm Pack of 10	$95.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST528	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	1.7x3-6mm Pack of 2	$121.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST529	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	1.7x3-6mm Pack of 4	$111.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST530	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	2.2mm x 4mm - 6mm (pack of 1)	$141.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST531	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	2.2mm x 4mm - 6mm (pack of 2)	$121.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST532	Stryker Leibinger Resorbable Fixation System	Resorbable Screws Trypolymer	2.2mm x 4mm - 6mm (pack of 4)	$111.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

ST822	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Mesh 55 x 55 (1mm thickness)	$416.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST823	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Ladder plate 2 x 5 holes	$208.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST824	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	L plate 110 degree 9 hole right; L 	$177.00	Only to be funded where used in a

the fixation of facial fractures	plate 110 degree 9 hole left	service for which a Medicare Benefit

is payable

ST825	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Y plate 9 holes	$250.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 486 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST826	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Double Y plate 12 holes	$218.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST827	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Curved plate 8 holes	$208.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST828	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Straight plate 4 - 21 hole	$208.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST829	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.6 x 4mm bone screw - 2 per pack	$121.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST836	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.6 x 6mm bone screw - 2 per pack	$121.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST837	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.6 x 8mm bone screw - 2 per pack	$121.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST838	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.6 x 10mm bone screw - 2 per pack	$121.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST839	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.2 x 8mm bone screw - 2 per pack	$121.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST840	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Diameter 2.6mm, Length 4 - 10mm	$141.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST841	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.2 x 6mm bone screw - 4 per pack	$111.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST842	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.2 x 8mm bone screw - 4 per pack	$111.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST843	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.2 x 4mm bone screw - 10 per pack	$95.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 487 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ST844	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	2.2 x 6mm bone screw - 10 per pack	$95.00	Only to be funded where used in a

the fixation of facial fractures	service for which a Medicare Benefit

is payable

ST849	Delta Resorbable Plating System	Resorbable plates and screw fixation system for	Mesh and Panel 55 x 55 (1.4mm 	$177.00	Only to be funded where used in a

the fixation of facial fractures	thickness)	service for which a Medicare Benefit

is payable

ST855	Leibinger Titanium Implant System	Mesh: Micro, Dumbach, Dynamic	Diameter 1.0mm - 2.3mm; 90 x 	$2,407.00	Only to be funded where used in a

90mm to 200 x 200mm	service for which a Medicare Benefit

is payable

ST864	Auto Pilot Cross Pin Self-drilling screws	Used for permanent fixation of cranial bone flaps	Dia 2.3 x lengths 4 and 6mm	$140.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Stryker Australia Pty Ltd (2)

SK078	Stryker Leibinger Resorbable Fixation System	Delta resorbable mesh for fixation of facial 	122mm  x 122mm	$1,456.00	Only to be funded where used in a

fractures and congenital deformity	service for which a Medicare Benefit

is payable.

SK129	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Compression 	$520.00	Only to be funded where used in a

Universal Mandible Compression Plate	mandibular fractures and tumour resection.	Plate, 4-6 Holes	service for which a Medicare Benefit

is payable.

SK130	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Fracture Plate, 	$620.00	Only to be funded where used in a

Universal Mandible Fracture Plate	mandibular fractures and tumour resection.	14 Holes	service for which a Medicare Benefit

is payable.

SK131	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Fracture Plate, 	$475.00	Only to be funded where used in a

Universal Mandible Fracture Plate	mandibular fractures and tumour resection.	C-shaped, 4 holes	service for which a Medicare Benefit

is payable.

SK132	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Fracture Plate, 	$565.00	Only to be funded where used in a

Universal Mandible Fracture Plate	mandibular fractures and tumour resection.	Angled Shaped, 6 holes, 115-140 deg	service for which a Medicare Benefit

is payable.

SK133	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Fracture Plate, 	$470.00	Only to be funded where used in a

Universal Mandible Fracture Plate	mandibular fractures and tumour resection.	4-6 holes with/without Bar	service for which a Medicare Benefit

is payable.

SK134	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Mini Plate, 4-6 	$130.00	Only to be funded where used in a

Universal Mandible Mini Plate	mandibular fractures and tumour resection.	holes with/without Bar	service for which a Medicare Benefit

is payable.

SK135	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Mini Plate, 16 	$263.00	Only to be funded where used in a

Universal Mandible Mini Plate	mandibular fractures and tumour resection.	holes	service for which a Medicare Benefit

is payable.

Prostheses List by Category and Sponsor	Page 488 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK136	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Primary 	$1,465.00	Only to be funded where used in a

Universal Mandible Primary Reconstruction 	mandibular fractures and tumour resection.	Reconstruction Plate, (Hemi) Left 	service for which a Medicare Benefit

Plate	and Right 5+17 holes, with 	is payable.

template

SK137	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Primary 	$1,100.00	Only to be funded where used in a

Universal Mandible Primary Reconstruction 	mandibular fractures and tumour resection.	Reconstruction Plate, 11-17 holes, 	service for which a Medicare Benefit

Plate	with template	is payable.

SK138	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Reconstruction 	$2,010.00	Only to be funded where used in a

Universal Mandible Reconstruction Plate	mandibular fractures and tumour resection.	Plate, (Full), 6 + 13 + 6 holes, with	service for which a Medicare Benefit

template	is payable.

SK139	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible 3D Plate, 	$305.00	Only to be funded where used in a

Universal Mandible 3D Plate	mandibular fractures and tumour resection.	(Full), 6 x 2 Hole, Curved, Square	service for which a Medicare Benefit

is payable.

SK140	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Reconstruction 	$1,050.00	Only to be funded where used in a

Universal Mandible Reconstruction Plate	mandibular fractures and tumour resection.	Plate, 11 - 17 holes, straight with 	service for which a Medicare Benefit

template	is payable.

SK141	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Reconstruction 	$1,550.00	Only to be funded where used in a

Universal Mandible Reconstruction Plate	mandibular fractures and tumour resection	Plate, (Hemi), Right and Left, 6 + 	service for which a Medicare Benefit

17 holes with template	is payable.

SK142	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Reconstruction 	$2,030.00	Only to be funded where used in a

Universal Mandible Reconstruction Plate	mandibular fractures and tumour resection	Plate, (Full), 6 + 17 + 6 holes, with	service for which a Medicare Benefit

template	is payable.

SK143	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Reconstruction 	$2,010.00	Only to be funded where used in a

Universal Mandible Reconstruction Plate	mandibular fractures and tumour resection	Plate, (Full), 6 + 15 + 6 holes, with	service for which a Medicare Benefit

template	is payable.

SK144	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible 3D Plate, 4 x 2 	$305.00	Only to be funded where used in a

Universal Mandible 3D Plate	mandibular fractures and tumour resection	Hole Square	service for which a Medicare Benefit

is payable.

SK145	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible 3D Plate, 3 x 2 	$305.00	Only to be funded where used in a

Universal Mandible 3D Plate	mandibular fractures and tumour resection	Hole Rectangle	service for which a Medicare Benefit

is payable.

SK146	Leibinger Titanium Implant System - 	Items used for reconstruction and fixation of 	Universal Mandible Bi-concave 	$54.00	Only to be funded where used in a

Universal Mandible Biconcave Washer	mandibular fractures and tumour resection	Washer	service for which a Medicare Benefit

is payable.

SK147	Leibinger Screw  - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Smartlock 	$120.00	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	Emergency Screws, 2.7mm 	service for which a Medicare Benefit

Diameter, 8mm - 20mm length	is payable.

Prostheses List by Category and Sponsor	Page 489 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK148	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Screws, 	$95.00	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	Emergency, 2.7mm Diameter, 8-	service for which a Medicare Benefit

20mm Length	is payable.

SK149	Leibinger Screw  - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Screws, 2.0mm 	$74.00	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	Dia, 4-14mm Length; Universal 	service for which a Medicare Benefit

Mandible Screws, 2.3mm Dia, 4-	is payable.

14mm Length

SK150	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Smartlock 	$110.00	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	Screws, 2.0mm Diameter, 16mm-	service for which a Medicare Benefit

20mm Length; Universal Mandible 	is payable.

Smartlock Screws, 2.3mm

Diameter, 18mm-20mm Length

SK151	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Screws, 2.0mm 	$105.00	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	Diameter, 16mm-20mm Length; 	service for which a Medicare Benefit

Universal Mandible Screws, 2.3mm 	is payable.

Diameter, 16mm-20mm Length

SK152	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Lag Screws, 	$155.00	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	2.0mm Diameter, 24mm-42mm 	service for which a Medicare Benefit

Length	is payable.

SK153	Leibinger Screw - Universal Mandibular 	Items used for reconstruction and fixation of 	Universal Mandible Smartlock 	$88.50	Only to be funded where used in a

Screws	mandibular fractures and tumour resection	Screws, 2.0mm Diameter, 4mm-	service for which a Medicare Benefit

14mm Length; Universal Mandible 	is payable.

Smartlock Screws, 2.3mm

Diameter, 4mm-16mm Length

SK218	Leibinger Titanium Implant System - 	Items used for reconstruction following trauma 	Universal Mandible Condylar 	$1,545.00	Only to be funded where used in a

Universal Mandible Condylar Device	or tumor resection of the mandible. Included 	Device Left and Right	service for which a Medicare Benefit

are 2x cross pin fixation screw.	is payable.

SK232	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement.	2.5gm pack	$650.00	Only to be funded where used in a

Sodium Phosphate Solution and Mixing 	service for which a Medicare Benefit

Bowl included	is payable

SK233	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement.	5gm pack	$1,250.00	Only to be funded where used in a

Sodium Phosphate Solution and Mixing 	service for which a Medicare Benefit

Bowl included	is payable

SK234	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement.	10gm pack	$1,920.00	Only to be funded where used in a

Sodium Phosphate Solution and Mixing 	service for which a Medicare Benefit

Bowl included	is payable

Prostheses List by Category and Sponsor	Page 490 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK235	BoneSource Classic Bone Cement	Calcium Phosphate Bone Matrix Replacement.	25gm pack	$3,960.00	Only to be funded where used in a

Sodium Phosphate Solution and Mixing 	service for which a Medicare Benefit

Bowl included	is payable

SK255	Leibinger Titanium Implant System - 	Upperface Fixation Plates	24 Hole Straight Plate Upperface, 	$415.00	Only to be funded where used in a

Universal CMF Plate	malleable condensed; 24 Hole 	service for which a Medicare Benefit

Straight Plate Upperface	is payable.

SK257	Leibinger Titanium Implant System - 	Upperface Fixation Plates	18 Hole Straight, Upperface, 	$325.00	Only to be funded where used in a

Universal CMF Plate	Malleable	service for which a Medicare Benefit

is payable.

SK258	Leibinger Titanium Implant System - 	Upperface Fixation Plates	10 Hole Curved Plate Upperface, 	$265.00	Only to be funded where used in a

Universal CMF Plate	malleable condensed; 10 hole 	service for which a medicare Benefit

Curved plate, Upperface	is payable

SK259	Leibinger Titanium Implant System - 	Upperface Fixation Plates	7 Hole Double Y Plate Upperface, 	$285.00	Only to be funded where used in a

Universal CMF Plate	malleable; 7 Hole Double Y Plate, 	service for which a Medicare Benefit

Upperface	is payable

SK260	Leibinger Titanium Implant System - 	Upperface Fixation Plates	2x2 Hole 3-D Plate Upperface, 	$205.00	Only to be funded where used in a

Universal CMF Plate	malleable; 2x2 Hole 3-D Plate, 	service for which a Medicare Benefit

Upperface	is payable

SK261	Leibinger Titanium Implant System - 	Upperface Fixation Plates	6x2 Hole 3-D Plate Upperface, 	$225.00	Only to be funded where used in a

Universal CMF Plate	malleable; 6x2 Hole 3-D Plate, 	service for which a Medicare Benefit

Upperface	is payable

SK262	Leibinger Titanium Implant System - 	Uppeface Fixation Plates	8 Hole L Plate 90 Degree Left, 	$250.00	Only to be funded where used in a

Universal CMF Plate	Upperface; 8 Hole L Plate 90 Degree	service for which a Medicare Benefit

Right, Upperface	is payable

SK263	Leibinger Titanium Implant System - 	Upperface Fixation Plates	7 Hole T Plate, Upperface	$238.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK264	Leibinger Titanium Implant System - 	Upperface Fixation Plates	4 Hole Orbita Plate, Upperface	$245.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK265	Leibinger Titanium Implant System - 	Upperface Fixation Plates	6x6 Hole 3-D Plate, Upperface; 6x6 	$295.00	Only to be funded where used in a

Universal CMF Plate	Hole 3-D Plate Upperface, malleable	service for which a Medicare Benefit

is payable

SK266	Leibinger Titanium Implant System - 	Upperface Fixation Plates	10x10 Hole 3-D plate Upperface, 	$310.00	Only to be funded where used in a

Universal CMF Plate	malleable; 10x10 Hole 3-D plate, 	service for which a Medicare Benefit

Upperface	is payable

Prostheses List by Category and Sponsor	Page 491 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK267	Leibinger Titanium Implant System	Burr Hole Cover 1.0mm - 2.3mm	Diameter 7, 10, 14 & 20mm	$335.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SK269	Leibinger Titanium Implant System - 	Midface Fixation Plates	24 Hole Straight Plate Midface, 	$420.00	Only to be funded where used in a

Universal CMF Plate	malleable condensed; 20 Hole 	service for which a Medicare Benefit

Straight Plate Midface, malleable; 	is payable

24 Hole Straight Plate Midface

SK270	Leibinger Titanium Implant System - 	Midface Fixation Plates	4 Hole Straight Plate with Bar, 	$160.00	Only to be funded where used in a

Universal CMF Plate	Midface; 4 Hole Curved Plate with 	service for which a Medicare Benefit

Bar, Midface	is payable

SK271	Leibinger Titanium Implant System - 	Midface Fixation Plates	10 Hole Curved Plate, Midface	$295.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK272	Leibinger Titanium Implant System - 	Midface Fixation Plates	5 Hole T Plate, Midface	$250.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK273	Leibinger Titanium Implant System - 	Midface Fixation Plates	5 Hole Y Plate with 4mm Bar, 	$250.00	Only to be funded where used in a

Universal CMF Plate	Midface	service for which a Medicare Benefit

is payable

SK274	Leibinger Titanium Implant System - 	Midface Fixation Plates	7 Hole Double Y Plate, Midface	$295.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK275	Leibinger Titanium Implant System - 	Malleable L Plates	5 Hole L Plate 2mm Advancement 	$160.00	Only to be funded where used in a

Universal CMF Plate	100 Degree Left, Midface; 5 Hole L 	service for which a Medicare Benefit

Plate 2mm Advancement 100 	is payable

Degree Right, Midface

SK276	Leibinger Titanium Implant System - 	Malleable L Plates	5 Hole L Plate 5mm Advancement 	$165.00	Only to be funded where used in a

Universal CMF Plate	100 Degree Left, Midface; 5 Hole L 	service for which a Medicare Benefit

Plate 5mm Advancement 100 	is payable

Degree Right, Midface

SK277	Leibinger Titanium Implant System - 	Malleable L Plates	6 Hole L Plate 8mm Advancement 	$170.00	Only to be funded where used in a

Universal CMF Plate	100 Degree Left, Midface; 6 Hole L 	service for which a Medicare Benefit

Plate 8mm Advancement 100 	is payable

Degree  Right, Midface

SK279	Leibinger Titanium Implant System - 	Standard L Plates	5 Hole L Plate 2mm Advancement 	$162.00	Only to be funded where used in a

Universal CMF Plate	100 Degree Left, Midface;  5 Hole L 	service for which a Medicare Benefit

Plate 2mm Advancement 100 	is payable

Degree Right, Midface

Prostheses List by Category and Sponsor	Page 492 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK280	Leibinger Titanium Implant System - 	L Plates 100 Degree, Advancement 2 - 10mm	5 - 6 Hole	$170.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK282	Leibinger Titanium Implant System - 	L Plate 100 Degree  Advancement 12mm	5 - 6 Holes	$180.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK283	Leibinger Titanium Implant System - 	Graduated Stability L Plates	5 Hole L Plate 2mm Advancement 	$162.00	Only to be funded where used in a

Universal CMF Plate	100 Degree Left, Midface, GSP; 5 	service for which a Medicare Benefit

Hole L Plate 2mm Advancement 	is payable

100 Degree Right, Midface, GSP

SK287	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	16 Hole Straight Plate, Midface, 	$312.00	Only to be funded where used in a

Universal CMF Plate	locking	service for which a Medicare Benefit

is payable

SK288	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	8 Hole Curved Plate, Midface, 	$180.00	Only to be funded where used in a

Universal CMF Plate	locking	service for which a Medicare Benefit

is payable

SK289	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	2x2 Hole 3-D Plate, Midface, 	$185.00	Only to be funded where used in a

Universal CMF Plate	Locking	service for which a Medicare Benefit

is payable

SK290	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	2x6 Hole 3-D Plate, Midface, 	$185.00	Only to be funded where used in a

Universal CMF Plate	Locking	service for which a Medicare Benefit

is payable

SK291	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	5 Hole Y Plate with 4mm Bar, 	$194.00	Only to be funded where used in a

Universal CMF Plate	Midface, Locking; 5 Hole Y Plate 	service for which a Medicare Benefit

with 8mm Bar, Midface, locking	is payable

SK292	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	7 Hole Double Y Plate, Midface, 	$195.00	Only to be funded where used in a

Universal CMF Plate	locking	service for which a Medicare Benefit

is payable

SK293	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	8 Hole Y Plate, Midface, locking	$205.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK294	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	5 Hole L Plate 2mm Advancement, 	$185.00	Only to be funded where used in a

Universal CMF Plate	Midface, locking; 5 Hole L Plate 	service for which a Medicare Benefit

5mm Advancement, Midface, locking	is payable

Prostheses List by Category and Sponsor	Page 493 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK295	Leibinger Titanium Implant System - 	Mid-Face Fixation Plates, Locking	6 Hole L Plate 8mm Advancement, 	$205.00	Only to be funded where used in a

Universal CMF Plate	Midface, locking; 6 Hole L-Plate 	service for which a Medicare Benefit

12mm Advancement, Midface, 	is payable

locking

SK296	Leibinger Titanium Implant System - 	Mandible Plates	4 hole 2.3mm Compression Plate; 6	$2,635.00	Only to be funded where used in a

Universal CMF Plate	 Hole 2.3mm Compression Plate	service for which a Medicare Benefit

is payable

SK297	Leibinger Titanium Implant System - 	Mandible Plates	16 Hole, Straight Plate, Locking, 	$2,635.00	Only to be funded where used in a

Universal CMF Plate	Condensed	service for which a Medicare Benefit

is payable

SK298	Leibinger Titanium Implant System - 	Mandible Plates	4-6 Hole, Straight Plate, 	$2,165.00	Only to be funded where used in a

Universal CMF Plate	with/without bar, locking	service for which a Medicare Benefit

is payable

SK299	Leibinger Screw (Various) - Universal CMF 	1.2mm Diameter, 3-12mm Length; 	$68.50	Only to be funded where used in a

Screws	1.4mm Diameter 3-9mm Length	service for which a Medicare Benefit

is payable

SK300	Leibinger Screw (Various) - Universal CMF 	Self Drilling, 1.2mm Diameter, 3-	$68.50	Only to be funded where used in a

Screws	4mm Length	service for which a Medicare Benefit

is payable

SK301	Leibinger Screw (Various) - Universal CMF 	1.7mm Diameter, 3-12mm Length; 	$46.00	Only to be funded where used in a

Screws	1.9mm Diameter, 3-9mm Length	service for which a Medicare Benefit

is payable

SK302	Leibinger Screw (Various) - Universal CMF 	Self Drilling, 1.7mm Diam; 3-6mm 	$46.00	Only to be funded where used in a

Screws	Length	service for which a Medicare Benefit

is payable

SK303	Leibinger Screw (Various) - Universal CMF 	Locking, 1.7mm Diameter, 4-6mm 	$46.00	Only to be funded where used in a

Screws	Length; Locking 1.9mm Diameter, 	service for which a Medicare Benefit

5mm Length	is payable

SK340	Leibinger Titanium Implant System - 	Z Plate, Right/Left	 4 holes	$275.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

SK345	Leibinger Titanium Implant System - 	Le Fort 1 Plate, Right/Left	11hole, Advancement 2 - 10mm	$287.00	Only to be funded where used in a

Universal CMF Plate	service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 494 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK348	Leibinger Titanium Implant System - 	Titanium plates used for reconstruction and 	Universal CMF 4 hole chin plate, 	$185.00	Only to be funded where used in a

Universal CMF Plate	fixation of craniomaxillofacial fractures or 	4mm. Universal CMF 4 hole chin 	service for which a Medicare Benefit

osteotomy performed for correction of facial 	plate, 6mm. Universal CMF 4 hole 	is payable

deformity	chin plate, 8mm. Universal CMF 4

hole chin plate, 10mm. Universal

CMF 4 hole chin plate, 12mm.

SK349	Leibinger Titanium Implant System - 	Titanium plates used for reconstruction and 	Universal CMF 4 hole Z plate, 	$220.00	Only to be funded where used in a

Universal CMF Plate	fixation of craniomaxillofacial fractures or 	Small, Orthognathic, locking. 	service for which a Medicare Benefit

osteotomy performed for correction of facial 	Universal CMF 4 hole Z plate, 	is payable

deformity	Large, Orthognathic, locking.

SK350	Leibinger Titanium Implant System - 	Sagital split plate, locking	4 - 6 hole	$227.00	Only to be funded where used in a

Universal CMF Plates	service for which a Medicare Benefit

is payable

SK354	Universal Neuro Titanium Viper Self-Drilling 	Titanium self-drilling screws used for the 	Diameter 1.5mm, Length 4 & 5 mm	$46.00	Only to be funded where used in a

Screws	fixation of cranial bone flaps	service for which a Medicare Benefit

is payable

SK355	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the 	Small, large, 20mm burr hole, 16 	$430.00	Only to be funded where used in a

fixation of cranial bone flaps	hole without bar	service for which a Medicare Benefit

is payable

SK356	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the 	2-hole plate, 12mm bar, 16mm bar	$102.00	Only to be funded where used in a

fixation of cranial bone plates	service for which a Medicare Benefit

is payable

SK359	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the 	4 hole 6mm Bar, 2 hole 12mm bar 	$220.00	Only to be funded where used in a

fixation of cranial bone flaps	with tab, 7-14mm burr hole with tab	service for which a Medicare Benefit

is payable

SK362	Universal Neuro Screws	Titanium screws used for the fixation of cranial	Diameter 1.5mm, length 4-6mm. 	$53.50	Only to be funded where used in a

bone flaps	Emergency Screws: Diameter 	service for which a Medicare Benefit

1.7mm, length 4mm.	is payable

SK363	Universal Neuro Titanium Low Profile Plate	Titanium Low Profile plates used for the 	8 hole plate without bar,  2 x 2 box 	$370.00	Only to be funded where used in a

fixation of cranial bone flaps	plate, double Y 6 hole 8mm	service for which a Medicare Benefit

is payable

SK385	Universal System	Condyle Fastening Screws	One size only	$88.00

SK389	Universal System	Condylar Prosthesis	Left/Right	$990.00

SK420	Orthodontic Skeletal Anchor Plate	Orthodontic Skeletal Anchor Plate, Standard	1.7mm	$220.00

SK421	Orthodontic Skeletal Anchor Plate	Orthodontic Skeletal Anchor Plate Locking	1.7mm	$355.00

SK422	Orthodontic Skeletal Anchor Screw	Anchor Screw for Mandibular Maxillary 	1.7mm	$110.00

Fixation Screw, Self-Drilling

Prostheses List by Category and Sponsor	Page 495 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SK423	Orthodontic Skeletal Anchor Screw	Anchor Screw for Mandibular Maxillary 	2.0mm	$110.00

Fixation Screw, Self-Drilling

Surgien Pty Ltd

BR001	OPRA System	Central screw - titanium	One size only	$1,860.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BR002	OPRA System	Healing cylinder - titanium	One size only	$3,150.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BR003	OPRA System	Healing screw - titanium	One size only	$2,460.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BR004	OPRA System	Fixture - titanium	16 - 20mm	$36,900.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BR005	OPRA System	Abutment - titanium	Length 47 - 77mm	$19,250.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

BR006	OPRA System	Abutment screw - titanium	Length 57 - 87mm	$5,775.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Surgiplas Medical

SP004	Facial Prosthesis	Silicone elastomer	Small / Medium / Large / X-Large	$286.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SP010	Nago Tissue Expander	Remote port - silicone shell	10 to 2000cc	$890.00	Only to be funded where used in a

service for which a Medicare benefit

is payable.

SP011	Nagosil SFS-LP-Saline Filled Low Profile 	Smooth surface	100 to 600cc	$610.00	In strict accordance with the

Smooth Surface Breast Prostheses, Nagosil 	requirements of the Medicare Benefits

SFS-HP-Saline Filled High Profile Smooth 	 Schedule Items Number 45524,

Surface Breast Prostheses	45527, 45528, 45542, 45552,

45554, 45555 only.

Prostheses List by Category and Sponsor	Page 496 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP012	Nagotex SFX-LP-Saline Filled Low Profile 	Textured surface	100 to 600cc	$715.00	In strict accordance with the

Textured Surface, Nagotex SFX-HP-Saline 	requirements of the Medicare Benefits

Filled High Profile Textured Surface Breast 	 Schedule Items Number 45524,

Prostheseses	45527, 45528, 45542, 45552,

45554, 45555 only.

SP013	Plates	Micro, Midface & Mini	Micro: Y Plate, Y Plate 11 Hole, H 	$120.00	Only to be funded where used in a

Plate, 5 Hole Straight Plate, Quad 	service for which a Medicare Benefit

Plate, Quad Plate - Short, 13mm & 	is payable

16mm L Plate - Left & Right,

19mm T Plate, X Plate, Straight 2

Hole Short/Medium/Long; Mini:

10mm Square Plate; Midface:

13mm, 15mm & 22mm L Plate -

Left & Right, 9mm & 11mm ZED

Plate - Left & Right, 4 Hole I Plate,

18mm 4 Hole Straight Plate,

Straight 2 Hole -

Short/Medium/Long

SP014	Plates	Micro, Midface, Mini, BSSO, TR BSSO	Micro: 18 Hole Straight Plate, 12 	$130.00	Only to be funded where used in a

Hole Curved Plate, 10 Hole Straight	service for which a Medicare Benefit

Plate, Calvarium Plate - Small & 	is payable

Large, Medium 2 x 4 Hole Quad

Plate, 4 & 6 Hole Straight Plate, 2

x 3 Hole Quad Plate; Square Plate,

X Plate Extended. Double Y Plate

Extended; Mini: Calvarium Plate, X

Plate, 8 Hole Straight Plate,

1.0mm Thick; Midface: 15mm 5

Hole Y Plate, 10 Hole Curved Plate,

Double Y Plate, Straight Plate 5 &

10 Hole; 4 Hole BSSO Plate Short,

Medium, Long; TR BSSO Plate,

Short, Long;

Prostheses List by Category and Sponsor	Page 497 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP015	Plates	Micro, Mini, Maxi	Micro: Mesh 50mm x 37, 74mm; 	$280.00	Only to be funded where used in a

Mini: 16 Hole Straight Plate, 	service for which a Medicare Benefit

1.0mm thick; Maxi: 33mm & 	is payable

38mm 4 Hole EDC Plate, 48mm 6

Hole EDC Plate, Angled EDC

Plate, Angled Long EDC Plate,

40mm 6 Hole Fracture Plate, 6 Hole

Curved EDC Plate; Gap Plates;

Quad Plates; Burr Hole Plates;

SP016	Plates	Micro, Mini	Micro: Mesh Sheet 100mm x 	$506.00	Only to be funded where used in a

74mm, 40 x 40mm & 90 x 90mm, 	service for which a Medicare Benefit

Orbital Plate, Orbital Plate Large; 	is payable

Mini: 40 Hole Straight Plate, Mesh

18 row; Mesh 36 x 50mm; Sub -

Temporal Plates;

SP017	Plates	Mini	Mini: 15mm, 18mm & 23mm L 	$113.00	Only to be funded where used in a

Plate Right & Left, 26mm Y Plate, 	service for which a Medicare Benefit

Y Plate - 13 Hole, 15mm & 20mm 	is payable

Z Plate Right & Left, 24mm

Straight Plate, 16mm I Plate, 22mm

T Plate, Mesh 1 Row, 4 & 6 Hole

Straight Plate 1.0mm thick, Rigid

15mm, 18mm & 23mm L Plate

Right & Left, Rigid 26mm Y Plate,

15mm & 20mm Z Plate Right &

Left, Rigid 24mm Straight Plate,

Rigid 16mm I Plate; Rigid Double

Y Plate;

SP018	Plates	Micro, Midface, Mini & Maxi	Micro: 8 Hole Straight Plate, 	$162.00	Only to be funded where used in a

Double Y Plate; Mini : 10 Hole 	service for which a Medicare Benefit

Straight Plate, Extended Y Plate, 4 	is payable

Hole Compression Plate, Rigid 10

Hole Straight Plate; Midface: 12

Hole Straight Plate; Maxi: Chin

Plate 2, 3, 4, 6, 8, 10 & 12mm;

Prostheses List by Category and Sponsor	Page 498 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP019	Plates	Mini & Maxi	Mini: 16 & 18 Hole Straight Plate, 	$204.00	Only to be funded where used in a

5 Hole Compression Plate, 5, 7 & 9	service for which a Medicare Benefit

Hole Curved Plate, 12 Hole 	is payable

Straight Plate 1.0mm thick; Maxi:

33mm 4 Hole semi-comp Plate,

28mm 4 Hole Fracture Plate; Burr

Hole Plate; Zygomatic Plates,

Pyriform Plates, Orthognathic Y

Plates and Orthognathic BSSO Plates

SP020	Plates	Maxi	Maxi: Angled Reconstruction Left &	$392.00	Only to be funded where used in a

Right, Straight Reconstruction	service for which a Medicare Benefit

is payable

SP021	Screws	Micro, Maxi & Self Drilling	Size	$42.00	Only to be funded where used in a

1.2mm x (2 - 14)mm, 	service for which a Medicare Benefit

1.5mm/1.9mm/2.7mm safety, 	is payable

2.4mm x (4 - 22)mm, 2.7mm x (8 -

20)mm safety, 1.6mm x (4 - 8)mm

self drilling, 2.0mm x (4 - 8)mm

self drilling;1.2mm self-drilling

screws;

SP022	Screws	Mini	2.0mm x (4-22)mm; Guidewire (0.8	$34.00	Only to be funded where used in a

- 3.0)mm x (100 - 300)mm	service for which a Medicare Benefit

is payable

SP023	OsteoMed Plating & Fixation System	Plates - Reconstruction	4 x 12 Hole plate Right & Left; 14, 	$572.00	Only to be funded where used in a

15 & 18 Hole Straight Plate	service for which a Medicare Benefit

is payable.

SP024	OsteoMed Plating & Fixation System	Plates - Reconstruction	5 x 16 Hole plate Right & Left	$840.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

SP025	OsteoMed Plating & Fixation System	Plates - Reconstruction	5 x 20 x 5 Hole Full Mandible 	$1,100.00	Only to be funded where used in a

Plate; 5 x 16 x 5 Hole Full 	service for which a Medicare Benefit

Mandible Plate; Osteoform Mesh 	is payable.

Malleable/Rigid, 74 x 50mm, 111 x

191mm, 74 x 50mm, 40mm,

90mm;

SP026	OsteoMed Plating & Fixation System	Plates - Fracture	Rigid Comminuted Fracture Plate	$740.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

Prostheses List by Category and Sponsor	Page 499 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP027	OsteoMed Plating & Fixation System	Plates - Fracture	8 Hole Fracture Plate, 4 & 6 hole 	$460.00	Only to be funded where used in a

locking fracture plate.	service for which a Medicare Benefit

is payable.

SP028	OsteoMed Plating & Fixation System	Plates - Fracture	4 hole Fracture Plate 32 -37mm; 	$294.00	Only to be funded where used in a

EDC Plate 32mm & 34mm	service for which a Medicare Benefit

is payable.

SP029	OsteoMed Plating & Fixation System	Plates - Fracture; Screws - Cannulated Lag	6 Hole Fracture Plate 47 - 52mm; 2 	$330.00	Only to be funded where used in a

x 2 Hole Angled Fracture Plate; 3 x 	service for which a Medicare Benefit

3 Hole Angled Fracture Plate; 	is payable.

6.5mm x (30 -150)mm; 7.3mm x

(30 - 150)mm

SP030	OsteoMed Plating & Fixation System	Screws	Size	$140.00	Only to be funded where used in a

2.4mm x (6 - 22)mm Locking 	service for which a Medicare Benefit

Screws, locking screw inserts; 	is payable.

Quick-Fix MMF / Anchorage

Screws 1.2 / 1.6 / 2.0mm

SP031	OsteoMed Plating & Fixation System	Lag Screws - Micro, Mini	1.2mm x (6 - 16)mm; 1.6mm x (10-	$79.00	Only to be funded where used in a

12)mm; 2.0mm x (8 - 22)mm;	service for which a Medicare Benefit

is payable.

SP032	OsteoMed Plating & Fixation System	Lag Screws - Maxi, MMF, 3.0mm	2.4mm x (8 - 42)mm; 2.4 x (12 - 	$80.00	Only to be funded where used in a

18)mm; 3.0mm x (12 - 36)mm;	service for which a Medicare Benefit

is payable.

SP033	OsteoMed Plating & Fixation System	Compression Plates - Micro, Mini & Maxi	Micro: 2 x 3 Hole Compression T 	$147.00	Only to be funded where used in a

Plate, Oblique Left & Right 	service for which a Medicare Benefit

Compression T Plate, 4 Hole 	is payable.

Straight Compression Plate; 5 Hole

Straight Plate, 13mm Left & Right

L Plate, 19mm T Plate, 2 x 3 Hole

Quad Plate; Mini: 4 Hole Left &

Right L Plate, 4 Hole Left & Right

Oblique L Plate, 2 x 4 T Plate, Left

& Right Oblique 2 x 4 Hole T

Plate, 3 x 4 T Plate, 2 x 1 x 4 T

Plate, 3 x 4 Hole Y Plate, 4, 5 & 6

Hole Straight Plate; Maxi: 4 Hole

Left & Right L Plate, 2 x 4 Hole T

Plate, 2 x 4 Hole Left & Right

Oblique T Plate; Flap Fixation Disk

Plate.

Prostheses List by Category and Sponsor	Page 500 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP034	OsteoMed Plating & Fixation System	Compression Plates - Maxi	Maxi: 4, 5 & 6 Hole Straight Plate	$290.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable.

SP035	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (6 - 16)mm; 2.4mm x (6 -	$220.00	Only to be funded where used in a

20)mm	service for which a Medicare Benefit

is payable.

SP036	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	2.0mm x (18 - 22)mm; 2.4mm x 	$260.00	Only to be funded where used in a

(22 - 30)mm	service for which a Medicare Benefit

is payable.

SP037	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (10 x 28)mm; 4.0mm x 	$210.00	Only to be funded where used in a

(12 - 30)mm	service for which a Medicare Benefit

is payable.

SP038	OsteoMed Plating & Fixation System	Screws - Cannulated Lag	3.0mm x (30 x 40)mm; 4.0mm x 	$250.00	Only to be funded where used in a

(32 - 52)mm	service for which a Medicare Benefit

is payable.

SP039	Bioresorbable Fixation System	Screws	1.6 x (4-8)mm, 4pack; 2.0 x (4-	$420.00	Only to be funded where used in a

8)mm, 4 pack	service for which a Medicare Benefit

is payable

SP041	Product Name	Plates	Comminution Plate, 20 x 30mm 	$644.00	Only to be funded where used in a

Bioresorbable Fixation System	Mesh, Neuro Fixation Set	service for which a Medicare Benefit

is payable

SP042	Bioresorbable Fixation System	Plates	"L" Plate Left & Right, "T" Plate, 	$340.00	Only to be funded where used in a

Double "Y" Plate Short & Long, 	service for which a Medicare Benefit

Orbital Plate, 4 & 8 Hole straight 	is payable

Plate, Square Plate

SP043	OsteoMed Plating & Fixation System	Plates	50 x 50mm Bioresorbable Mesh; 	$1,250.00	Only to be funded where used in a

111 x 191mm, 125 x 180mm, & 	service for which a Medicare Benefit

Medium Mesh Plate; 40 x 40mm, 	is payable

90 x 90mm Osteoform Mesh;

SP044	OsteoMed Plating & Fixation System	Plates	100 x 100mm Bioresorbable Mesh; 	$2,975.00	Only to be funded where used in a

150 x 300mm, & Large Mesh Plate;	service for which a Medicare Benefit

90 x 90mm, 95 x 165mm, & Large	is payable

Pre-formed Osteoform Mesh;

SP047	Gel Filled Mammary Prosthesis Models GFX-	Textured Round	80 to 800ml	$715.00	In strict accordance with Medicare

LP, GFX and GFX-EHP	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Prostheses List by Category and Sponsor	Page 501 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SP048	Gel Filled Mammary Prosthesis Models RGI-	Smooth Round	80 to 800ml	$610.00	In strict accordance with Medicare

D and RGI-DH	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

SP049	Gel Filled Mammary Prosthesis Models 	CoGel High Cohesive	100 to 630gm	$1,200.00	In strict accordance with Medicare

CoGel-XR, CoGel- XM and CoGel XA	Benefits Schedule Items Number

45524, 45527, 45528, 45542,

45552, 45554, 45555 only.

Synthes Australia Pty Ltd

SY154	AO/ASIF Facio-maxillary Plates	Micro - Shaped, L, Y, T, X & H Plates, 	1.0mm, 4 - 34 hole	$187.46	Only to be funded where used in a

Double, Burr Hole Cover, Orbital Floor	service for which a Medicare Benefit

is payable

SY155	AO/ASIF Facio-maxillary Plates	Mini - Shaped, Straight, L, Y, T, X  Plates, 	1.5mm, 2-20 hole	$300.00	Only to be funded where used in a

Shaft, Burr Hole Cover, Right & Left, 	service for which a Medicare Benefit

adaption, orbital floor	is payable

SY157	AO/ASIF Facio-maxillary Plates	Mini plate, shaped, locked &non-locked	2.0mm, 2-30 hole	$247.20	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SY158	AO/ASIF Facio-maxillary Plates	Mandible Plate, Locking	2.4mm 2-50 hole	$1,545.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SY159	AO/ASIF Facio-maxillary Plates	1.3mm Plates	2-24 hole	$662.29	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SY160	AO/ASIF Facio-maxillary Plates	Mesh Plate	1.0 - 1.5mm	$1,047.51	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SY252	AO/ASIF Facio-Maxillary Plates	Flapfix - Plates for fixation of cranial bone flaps	10 - 20mm	$195.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SY311	Fixator System	Anterior Foot Plates Left and Right, Posterior 	2.0mm, 6-14mm; Short, Medium, 	$2,575.00	Only to be funded where used in a

Foot Plates, Distractor body, Machine Screw	Tall - 7-12mm offset; 10-25mm 	service for which a Medicare Benefit

advancement; 3.5mm dia	is payable

SY312	AO/ASIF Facio-maxillary Plates	Titanium Locking Mandible Plates, straight 	2.0mm, small (1.0mm thickness to 	$740.00	Only to be funded where used in a

and angled and crescent	Medium (1.3mm thickness) 2-20 	service for which a Medicare Benefit

holes length	is payable

Prostheses List by Category and Sponsor	Page 502 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

SY315	AO/ASIF Facio-maxillary Plates	Titanium Locking Mandible Plates, straight 	2.0mm Large (1.5mm thickness) 	$1,030.00	Only to be funded where used in a

and angled and crescent	Straight and angled , 6-24 holes	service for which a Medicare Benefit

is payable

SY316	AO/ASIF Facio-maxillary Plates	Titanium Locking Mandible Plates, straight 	2.0mm, Large (1.5mm thickness) 	$360.50	Only to be funded where used in a

and angled and crescent	crescent shaped	service for which a Medicare Benefit

is payable

SY324	AO/ASIF Facio-maxillary Plates	Mandible Plate, Non-locking	2.4mm 2-50 hole	$721.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

SY344	Titanium Sternal Fixation System	Locking Plate - straight, H or star	Straight: 12 - 30 holes. H: small & 	$1,480.00

large star: 6- 12 holes

SY345	Titanium Sternal Fixation System	Titanium Emergency Release Pin	One Size only	$110.00

SY347	Titanium Sternal Fixation System	Locking Plate - straight	20 or 30 holes	$1,800.00

SY348	Titanium Sternal Fixation System	Locking Plate - H or Star	8 or 6 holes, small or large	$1,200.00

SY349	Multi Vector Distractor Set	Titanium Multi Vector Distractor	MVD Arms:15mm-85mm. Pin 	$4,250.00

holding clamps-

ramus,body,universal,limited bone

stock ramus and body. Assembly

left & right 35mm. K wires 2.0mm

150mm length. Connecting bar

4.0mm 100mm-200mm length

Technology For Life Pty Ltd

TE001	PMT (Enhanced Surface) Breast Expander	Custom 2 Stage and 3 Stage, silicone	10 x 13cm to 16.5 x 16 cm. Plus 	$2,180.00	$5,650.00	Only to be funded where used in a

custom made	service for which a medicare benefit is

payable.

TE004	# PMT Tissue Expander - Extremity + Head	Single stage, silicon	Shaped 3 x 4cm to 8 x 18 cm	$2,180.00	Only to be funded where used in a

service for which a medicare benefit is

payable.

TE005	# PMT Tissue Expander - Extremity + Head	Two stage, silicon	Shaped 3 x 4cm to 11 x 22 cm	$2,630.00	Only to be funded where used in a

service for which a medicare benefit is

payable.

TE006	# PMT Tissue Expander - Extremity + Head	Three stage, silicon	Shaped 3 x 4cm to 11 x 22 cm	$2,180.00	$3,640.00	Only to be funded where used in a

service for which a medicare benefit is

payable.

TE007	# PMT Breast Expander	Single stage, silicon	10 x 13cm to 14 x 18 cm. 13 x 	$2,180.00	$2,940.00	Only to be funded where used in a

11cm to 15 x 13cm	service for which a medicare benefit is

payable.

Prostheses List by Category and Sponsor	Page 503 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TE008	# PMT Breast Expander	Two stage, silicon	10 x 13cm to 15 x 16 cm. Plus 	$2,180.00	$3,266.00	Only to be funded where used in a

custom made	service for which a medicare benefit is

payable.

TE009	# PMT Breast Expander	Three stage, silicon plus	10 x 13cm to 16.5 x 16 cm. Plus 	$2,180.00	$4,879.00	Only to be funded where used in a

custom made	service for which a medicare benefit is

payable.

TE015	Spectrum Designs Implantable Prosthesis 	Silicone implantable blocks	Block I-IV, 12-17.5cm	$2,500.00	$3,000.00	Only to be funded where used in a

Blocks	service for which a Medicare Benefit

is payable.

TE035	Eurosilicone Cristilline Paragel Mammary 	Round high cohesive gel breast implants	60 - 500cc	$610.00	$735.00	In strict accordance with the

Implants	requirements of the Medicare Benefits

Schedule Items Number 45524,

45527, 45528, 45542, 45552,

45554, 45555 only

TiMax Surgical Pty Ltd

TI001	TiMax Titanium Plates	Micro, Mini Standard - L (R & L), T & Y 	4 - 24  holes	$186.00	Only to be funded where used in a

Shapes, Straight Long.  Micro & Mini Square 	service for which a Medicare Benefit

Triple	is payable

TI002	TiMax Titanium Bone Screws	Self-tapping	1 - 2.7mm Diameter, 2 - 22mm 	$25.00	Only to be funded where used in a

Length	service for which a Medicare Benefit

is payable

TI009	TiMax Titanium Plates	Micro & Mini Square Double	3 x 2 holes	$168.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI010	TiMax Titanium Plates	Micro, Mini & Standard - Double T & Y 	4 to 9 holes	$204.00	Only to be funded where used in a

Shape	service for which a Medicare Benefit

is payable

TI012	TiMax Titanium Plates	Fracture, Curved and Angled	4 - 6 holes	$378.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI019	TiMax Titanium Plates	Micro, Mini & Standard Straight Short	4-8 Holes	$123.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI021	TiMax Titanium Plates	Micro & Mini Square Single	2 x 2 holes	$147.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

Prostheses List by Category and Sponsor	Page 504 of 549

PLASTIC AND RECONSTRUCTIVE

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TI026	TiMax Titanium Plates	Custom Mesh	$6,104.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI033	TiMax Titanium Plates	Mesh, Strap, J Plate	Mesh 125 x 125mm	$673.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI040	TiMax Titanium Plates	Fracture Straight Short & Long	4 to 14 holes	$231.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI064	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & tacks	a) 30 x 40mm membrane kit; b) 6 	$345.00	Only to be funded where used in a

tack kit and applicator	service for which a Medicare Benefit

is payable

TI065	Inion GTR Biodegradable System	PLGA/TMC Copolymer: membrane & tacks	6 tack kit	$315.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI086	Ultimax Bone Screws	Titanium-Sterile	1.0-2.3 x 2-22mm, each	$40.00

TI087	Ultimax Bone Screws	Titanium-Sterile	1.0-2.3 x 2-22mm, 4 pack	$34.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

TI088	Ultimax Bone Screws	Titanium-Sterile	1.0-2.3 x 2-22mm, 5 pack	$34.00	Only to be funded where used in a

service for which a Medicare Benefit

is payable

American Medical Systems

AM001	AMS 800 Artificial Urinary Sphincter Cuff	Occlusive Cuff	Size: 4, 4.5, 5, 5.5, 6, 6.5, 7, 7.5, 	$2,560.00

8, 9, 10, 11cm

AM002	Acticon Artificial Bowel Sphincter Cuff	Occlusive Cuff	9, 10, 11, 12, 13, 14cm (available 	$3,500.00

in both 2.0cm & 2.9cm widths)

AM003	Urolume Plus TM Endo Urethral prostheses    	Endourethral wall stent for urethral strictures, 	Range: 1.5 - 4.0cm	$2,450.00	$3,922.37	When provided in association with

DESD and BPH	Medicare Benefits Schedule Item

Number 36811 only.

AM004	AMS 700 Series Inflatable Penile Prostheses 	700 Series with InhibiZone	12, 14, 15, 16, 18, 21cm	$3,750.00	When provided in association with

with Inhibizone Cylinders	Medicare Benefits Schedule Item

37429, 37426 or 37432

AM005	Penile Implant - Malleable	AMS 600M, AMS 650	Cylinders range: 12 -20cm	$3,305.40	When provided in association with

Medicare Benefits Schedule Item

37429, 37426 or 37432

Prostheses List by Category and Sponsor	Page 505 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AM010	Influence Bone Screw	Bone screw with pre-attached polypropylene 	5.5 x 1.7 mm	$685.00

monofilament suture. For incinsionless

tranvaginal sling procedure. Loop Screw Bone

Screw

AM011	Influence Bone Screw	Bone screw with pre-attached polypropylene 	5.5 x 1.7 mm	$685.00

monofilament suture. For incinsionless

tranvaginal sling procedure. In-Fast Bone

Screw

AM012	Triangle Sling	Gelatin Coated Polyester sling, used in sling 	18 x 55 mm	$663.00

procedures for treatment of stress urinary

incontinence.

AM013	Triangle Sling with surgical mesh	Silicone Coated sling with surgical mesh, used	10 x 10cm - 144 x 144cm	$663.00

in sling procedures for treatment of stress

urinary incontinence.

AM014	Sparc Sling System	Polypropylene mesh sling, two needles with 	One size only	$850.00	$920.95

rotating handles, two cystoscopy aids

AM015	AMS Testicular Prostheses	Solid silicone elastomer with suture hole	Small, Medium, Large	$640.00	When provided in association with

Medicare Benefits Schedule Item

45051 preparatory to a subsequent

surgical service not precluded from

attracting Medicare Benefits

AM016	In-Fast Kit and InteMesh Sling System	Items included in kit - inserter, 2 screws with 	One size only	$850.00	$3,284.80

sutures, silicone coated sling mesh

AM017	InVance Male Sling System	Kit includes inserter with shaft, 6 bone screws 	One Size	$5,600.00

with suture and silicone-coated sling surgical

mesh

AM018	Straight-In Sacral Colpopexy System	Kit includes inserter, 2 x loop screws, "Y" 	Shaft 28cm	$1,295.00	$3,810.10

shaped sling graft

AM019	MONARC Sling System	Product includes - mesh and two needles with 	One Size Only	$850.00	$990.00

handles attached

AM020	DURA II, Positionable Penile Prosthesis	Concealable penile prosthesis	Diameter 10mm and 12mm; 	$5,300.00	$5,386.00

Proximal tip lengths 1-9cm; Distal

tip lengths 1-9cm

AM021	AMS 800 Artificial Urinary Sphincter Cuff	Silicone cuff for artificial urinary sphincter. For 	4.0cm - 11.0cm (increases in 0.5cm 	$2,560.00

the implantation of the second cuff for the AMS	sizes)

800.

Prostheses List by Category and Sponsor	Page 506 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AM022	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	12, 14, 15, 16, 18, 21cm	$3,448.00	When provided in association with

Cylinders	Medicare Benefits Schedule Item

37429, 37426 or 37432

AM023	IntePro Large Pore Polypropylene Y-Sling	Large pore polypropylene mesh	One size	$663.00

AM024	BioArc TO Subfascial Hammock	sterile, single use procedure kit with two 	One size	$850.00	$990.00

stainless steel curved needle passers and two y-

mesh assemblies.  Polypropylene.

AM025	BioArc SP Sling Kit	sterile, single use procedure kit with two 	One size	$750.00

stainless steel curved needle passers and two y-

mesh assemblies.  Polypropylene.

AM026	Perigee Transobturator Anterior Prolapse 	4 helical shaped needles with handles, 4 	One size	$1,325.00

Repair System	synthetic graft arms enclosed in plastic with a

centre "cape" mesh.

AM027	Apogee Vault Suspension System	2 stainless steel curved needles with handles, a	One size	$1,295.00

large pore polypropylene mesh attached in the

centre of a polypropylene mesh enclosed in

plastic sheaths and two dilating conectors.

AM028	AMS 800 Artificial urninary sphincter Pressure	Pressure Regulating Balloon	51 - 60cm, 61 -70cm, 71 - 80cm	$2,015.00

Regulating Balloon

AM029	AMS 800 Artificial Urinary Sphincter Pump	Control Pump	One size	$4,845.00

AM030	AMS 800 Artificial Urinary Sphincter 	Accessory Kit	One Size	$675.00

Accessory Kit

AM031	AMS 800 Artificial Urinary Sphincter 	Implantable plugs x 3 & straight connector	One Size	$132.00

Deactivation Package

AM032	Acticon Artificial Bowel Sphincter Pump	Control Pump	One Size	$6,300.00

AM033	Acticon Artificial Bowel Sphincter Pressure 	Pressure Regulating Balloon	81-90cm, 91-100cm, 101-110cm, 	$3,500.00

Regulating Balloon	111-120cm

AM034	Acticon Artificial Bowel Sphincter Accessory 	Accessory Kit	One Size	$675.00

Kit

AM035	Acticon Artificial Bowel Sphincter 	Implantable plugs x 3 & straight connector	One Size	$132.00

Deactivation Package

AM036	AMS 700 Series Inflatable Penile Prostheses 	700 Series with InhibiZone	One Size	$4,570.00

with InhibiZone Pump

AM037	AMS 700 Series Inflatable Penile Prostheses 	700 Series with InhibiZone	12, 14, 15, 16, 18, 21cm	$8,324.00

with InhibiZone Pump & Cylinders

Preconnected

Prostheses List by Category and Sponsor	Page 507 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AM038	AMS 700 Series Inflatable Penile Prostheses 	700 Series with InhibiZone	 50, 65, 100ml	$1,940.00

with InhibiZone Reservoir

AM039	AMS 700 Series Inflatable Penile Prostheses 	700 Series with InhibiZone	One Size	$675.00

with InhibiZone Accessory Kit

AM040	AMS 700 Series Inflatable Penile Prostheses 	700 Series with InhibiZone	One Size	$135.00

with InhibiZone Deactivation Package

AM041	AMS Ambicor	AMS Ambicor Inflatable Penile Prostheses	AMS Ambicor Inflatable Penile 	$10,200.00

Prostheses 12.5mm in 14, 16 &

18cm length, 14mm in 16, 18 &

20cm length, 15.5mm in 18, 20 &

22cm length

AM042	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	One Size	$4,201.00

Pump

AM043	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	12, 14, 15, 16, 18, 21cm	$7,653.00

Pump & Cylinders Preconnected

AM044	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	 50, 65, 100ml	$1,757.00

Reservoir non Inhibizone

AM045	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	One Size	$675.00

Accessory Kit

AM046	AMS 700 Series Inflatable Penile Prostheses 	700 Series (Non InhibiZone)	One Size	$135.00

Deactivation Package

AM047	AMS Ambicor	AMS Ambicor Inflatable Penile Prostheses	12.5mm in 14, 16 & 18cm length, 	$10,000.00

14mm in 16, 18 & 20cm length,

15.5mm in 18, 20 & 22cm length

Applied Medical Australia Pty Ltd

MH003	Acucise RP35 Procedural Pack	Composition: Polypropylene & Titanium	One size only	$2,860.00	Temporary approval

MH005	Ureteral Stents	Composition - Soft vertex, hydrophilically 	Outer dia 5F, length 14, 16, 18, 20,	$120.00

coated with radiopaque markers	 22, 24, 26, 28cm;  Outer dia 6F,

length 22, 24, 26, 28, 30cm;  Outer

dia 7F, length 22, 24, 26, 28,

30cm;  Outer dia 8F, length 22, 24,

26, 28, 30cm

MH007	Acucise RP35 Procedural Starter Pack	Polypropylene and Titanium	One Size Only	$3,328.00	Temporary approval

Prostheses List by Category and Sponsor	Page 508 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MH010	Silhouette Ureteral Stent	The Silhouette Ureteric Stent is manufactured 	Size: 4F, 14cm to 30cm in 2cm 	$140.00

with a soft material that provides superior 	increments

comfort.  It has superior column strength

through a coil-reinforced body providing

effortless placement.  The tight coils prevent

migration.  The smaller outside diameter of 4F

with inner diameter comparable to 6F standard

stents provides exceptional drainage.  SL-6

hydrophilic coating further facilitates placement.

MH011	Silhouette Ureteral Stent	The Silhouette Ureteric Stent is manufactured 	4F, 10cm - 12 cm in 2cm 	$140.00

with a soft material that provides superior 	increments

comfort. It has superior column strength 	10 cm - Part No. B3829

through a coil-reinforced body providing 	12 cm - Part No. B3830

effortless placement. The tight coils prevent

migration. The smaller outside diameter of 4F

with inner dianmeter comparable to 6F

standard stents provides exceptional drainage.

SL-6 hydrophilic coating further facilitates

placement.

MH012	Silhouette System Ureteral Stent Set	Coil reinforced body.  SL-6 hydrophilic 	4F, 10 - 30cm	$198.00

coating.  UroWire 0.035" 3-in-1 guidewire

with kink resistant nitinol core.  Design

divided into 3 sections: silver section (front

end) floppy SL - 6 hydrophilic coating; Blue

section (mid) super stiff PTFE (not

hydrophicaly coated); and Green section (back)

flexible

MH013	Paediatric Silhouette System Set	Coil reinforced body.  SL-6 hydrophilic 	4F, 8 - 12cm	$245.00

coating.  UroWire 0.035" 3-in-1 guidewire

with kink resistant nitinol core.  Design

divided into 3 sections: silver section (front

end) floppy SL - 6 hydrophilic coating; Blue

section (mid) super stiff PTFE (not

hydrophicaly coated); and Green section (back)

flexible

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd

AS120	IVS Tunneller-Intravaginal Tunneller System	IVS Tunneller System Trans Obuturator with 	50 cm (mesh)	$850.00	$950.00

two stylets and polypropylene mesh

Prostheses List by Category and Sponsor	Page 509 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Bard Australia Pty Ltd

BA041	Contigen Cross Linked Collagen 	Contigen Bard Collagen Implant for Stress 	2.5cc per syringe	$655.00

Urinary Incontinence

BA042	Memotherm Prostatic Stents	Memotherm Prostatic Urethral wall Stent	36Fr, 20mm to 60mm in 5mm 	$2,450.00	When provided in association with

increments; 42Fr, 20mm to 60mm 	Medicare Benefits Schedule Item

in 5mm increments	Number 36811 only.

BA044	Ureteral Stent	Bard Inlay Hydrophilic coated Pigtail Ureteric 	(Inlay) 4.7Fr 14, 20, 22, 24, 26, 	$195.00

stent without guidewire; Bard Flouro 4 	28cm.  6Fr- 14, 20, 22, 24, 26,

Silicone Multilength ureteric stent with 	28cm  7Fr 14, 20, 22, 24, 26, 28cm

guidewire; Urinary Diversion Stent All Silicone	  8Fr- 14, 20, 22, 24, 26, 28cm.

(Flouro) Multilength  4,6,7,and 8fr.

(Diversion)  7Fr x  90cm  &  8Fr  x

90cm.

BA149	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	4 x 18cm x 1.0mm	$729.00

collagen and elastin fibres

BA150	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	4 x 7cm x 1.0mm	$399.00

collagen and elastin fibres

BA151	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	2 x 12cm x 1.0mm	$369.00

collagen and elastin fibres

BA152	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	2 x 20cm x 1.0mm	$489.00

collagen and elastin fibres

BA153	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	4 x 12cm x 1.0mm	$549.00

collagen and elastin fibres

BA154	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	8 x 12cm x 1.0mm	$924.00

collagen and elastin fibres

BA155	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	2 x 4cm x 1.0mm	$249.00

collagen and elastin fibres

BA156	Pelvicol natural implant	Flexible Flat sheet of acellular porcine dermal 	2 x 7cm x 1.0mm	$293.00

collagen and elastin fibres

BA172	Pelvisoft	PelviSoft Acellular Collagen BioMesh	4 x 7 cm	$399.00	$458.00

BA173	Pelvisoft	PelviSoft Acellular Collagen BioMesh	8 x 12 cm	$924.00	$1,295.00

BA174	Pelvisoft	PelviSoft Acellular Collagen BioMesh	6 x 8 cm	$549.00	$660.00

BA176	Tegress	Endoscopic injectable, hydrophilic urethal 	2.8mm vial	$1,490.00

bulking agent for female stress urinary

incontinence

Prostheses List by Category and Sponsor	Page 510 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Boston Scientific Pty Ltd

BS038	Polaris	Each Stent contains a ureteral stent with 	Size: 4Fr to 14Fr, Length: 10cm to 	$210.00

attached suture and a stent positioner.	95cm

BS078	Advantage Transvaginal Mid-Urethral Sling 	Polypropylene smooth mesh material	One size only	$800.00

System, Lynx Suprapubic Mid-Urethral Sling

System, Obtryx Transoburator Mid-Urethral

Sling System

BS086	Polaris Ultra Ureteral Stent	This ureteral stent is made from Percuflex 	Sizes up to 7Fr, lengths up to 30cm	$240.00

material with a Hydro Plus Coating

BS091	Percuflex; Percuflex Plus; Percuflex Tail; 	Each Stent contains a ureteral stent with 	Size: 4Fr to 14Fr, Length: 10cm to 	$210.00

Percuflex Tail Plus Ureteral Stents.	attached suture and stent positioner	95cm

BS092	Contour Ureteral Stents	Each Stent contains a ureteral stent with 	Size: 4Fr to 14Fr, Length: 10cm to 	$210.00

attached suture and a stent positioner .  If 	95cm

packaged as a set, the set will contain the

ureteral stent, stent positionerand guidewire

BS093	Retromax Plus Ureteral Stent	Each Stent contains a uretera stent with 	Size: 4Fr to 14Fr, Length: 10cm to 	$210.00

attached suture and stent poitioner.	95cm

BS094	Contour VL; Stretch VL Flexima; Ureteral 	Each Stent contains a ureteral stent with 	Size: 4Fr to 14Fr, Length: 10cm to 	$210.00

Stents	attached suture and a stent positioner	95cm

BS095	Urinary Diversion Stents	Each Stent contains a ureteral stent with 	Size: 4Fr to 14Fr, Length: 10cm to 	$210.00

attached suture and a stent positioner	95cm

BS096	Lynx Suprapubic Mid-Urethral Sling System	Polypropylene smooth mesh material	One size only	$800.00

BS097	Obtryx Transoburator Mid-Urethral Sling 	Polypropylene smooth mesh material	One size only	$800.00

System

BS116	Polaris Loop Ureteral Stent	Ureteral Stent made from proprietary percuflex 	Sizes up to 8Fr, Lengths up to 	$210.00

material with hydroplus coating

Coloplast Pty Ltd

DS001	Serasis TO Stress Incontinence system	Blue Polypropylene monofilament tape with 	55 cm tape	$685.00

(Trans obturator approach)	looped edges. Tape only

Endocorp Pty Ltd

EC001	Hulka Clip	-	$76.00

Endotherapeutics Pty Ltd

ET011	Macroplastique	Sterile, textured, highly cross linked 	1.3 ml & 2.5 ml	$988.00

polydimethylsiloxane elastomer implants

suspended in a bio-excretable carrier gel.

Prostheses List by Category and Sponsor	Page 511 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

ET012	Optimed Ureteric Stents	Soft-Polyurethane. Ureteral. Paediatric Ureteral.	Ureteral 4.5 x 28,30,32 cm; 6 x 	$210.00

Renal Transplantation. Urinary Diversion.	26,28,30,32 cm; 7 x 26,28,30,32

cm. Paediatric Ureteral 8 x 28,30,32

cm. Renal Transplantation 4 x

10,12,14,16 cm; 6 x 12,14,16 cm; 7

x 12,14,16 cm. Urinary Diversion 8

x 12,14,16 cm.

ET028	Promedon Testicular Prosthesis	Silicone Elastomer	Small - 31 x 23 mm,  Medium - 37 	$640.00	When provided in association with

x 28 mm,  Large - 42 x 32 mm,  	Medicare Benefits Schedule Item

Xlarge	45051 preparatory to a subsequent

surgical service not precluded from

attracting Medicare Benefits

ET043	Safyre Autofixation System	Urinary incontenence sling made of 	One size only	$850.00

polydimethysiloxane and polyproplene

ET050	ARGUS	Adjustable Male Sling made of silicone 	One size only	$5,500.00

adjustable self fixating columns and urethral

cushion

Endovision Pty Ltd

ED004	Memokath Prostatic - Urethral Stents	Memokath Models: 028S, 028SW, 028T, 	 5mm - 90mm	$2,450.00

028TW, 044T, 044TW, 045T, 045TW,

045TTW

ED006	Memokath Ureteric Stent	Memokath Model 051CW.	30mm - 200mm	$3,700.00

Femcare Australia Pty Ltd

FE001	Filshie Clip	Titanium	One size only	$155.00	$170.00

FE002	Fallopian Tube Rings (Pair)	Silicone	One size only	$76.00	$120.00

Gyrus Australasia Pty Ltd

GY084	Ureteral Stents 	Single J Ureteric Stent, silicone	7 - 8.5 F x 90cm	$175.00

GY085	Ureteral Stents	Double J Ureteric Stent, silicone	6-8.5 F, 12 - 24 cm	$194.00	$221.00

GY086	Ureteral Stents 	Diversion Stent, silicone	7 - 8.5 F x 90cm	$165.00

GY087	Ureteral Stents	Nephro Stent, silicone	6 - 8.5 F, 25-58cm	$210.00	$425.00

GY088	Falope-Ring Bands	Fallopian Tube Clip (each)	5mm - 12mm	$38.00	$70.00

GY089	Quadra-Coil Multi Length Ureteral Stent	Tecoflex polymer, hydrophilic coating/PTFE 	4.5F-8.5F x length 22 - 28cm	$126.00	$214.00

coating

Prostheses List by Category and Sponsor	Page 512 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Gytech Pty Ltd

GP001	Cousin Biotech Intramesh L.I.F.T	Polypropylene Mesh	One size only	$540.00

Incision Pty Ltd

IP004	Durasphere SUI	Injectable Bulking agent for Stress Urinary 	1ml	$520.00

Incontinence

IP009	Durasphere SUI	Injectable Bulking agent for Stress Urinary 	3ml	$1,560.00

Incontinence

Jecoli Pty Ltd

JO009	T-Sling / Uromesh	Polypropylene Sling	1.1 x 45cm	$540.00	$850.00

Johnson & Johnson Medical Pty Ltd

JJ070	TVT (Tension-Free Vaginal Tape) Single use 	Undyed Prolene (polypropylene) nonabsorbable	11 x 450mm	$850.00

device	 tape

JJ442	Gynecare TVT-O	Items included are: Gynecare TVT Obturator 	1.1x45 cm	$850.00

device, Two Gynecare TVT Helical Passers

and a Gynecare TVT Atraumatic Winged

Guide.  The device component of the system

consists of undyed or blue Prolene

Polypropylene Mesh

JJ476	Gynecare Prolift Pelvic Floor Repair System	Pre-cut gynemesh PS and single use 	PFRT01	$2,489.00

instruments for mesh placement

JJ478	Gynecare Prolift Pelvic Floor Repair System	Pre-cut gynemesh PS and single use 	PFRP01	$1,295.00

instruments for mesh placement

Kvinno Centre Pty Ltd

KV001	Tissue Fixation System (TFS)	One Size Only	$540.00

Medical Device Alliance Pty Ltd

MP001	Inflatable Periurethral Constrictor	Consists of a membrane, filler product and 	One size only	$1,200.00

silicone tube

MP002	Malleable Penile Implant	Consists of a membrane, filler product and 	14-23cm	$800.00	When provided in association with

silicone tube	Medicare Benefits Schedule Item

37429, 37426 or 37432

Medtronic Australasia Pty Ltd

MC175	Neo-anal sphincter stimulator implant	Implantable intramuscular assist lead, Dynamic	35-50 cm	$4,330.00

Graciloplasty Lead. Platinum iridium,

polyurethane, polypropylene.

Prostheses List by Category and Sponsor	Page 513 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC180	Sacral Nerve Stimulation Unilateral	Interstim  stimulation lead Models 3080 & 	28 cm	$3,330.00

3886. Platinum / Iridium, polyurethane.

MC185	Sacral Nerve Stimulation Unilateral	Interstim Temporary test stimulation lead. 	One size only	$385.00	When used in pain therapy - to be

Model 3065U. This model is temporary for 	funded when the patient has

patient trial. Platinum / Iridium, polyurethane.	undergone a multi-disciplinary

assessment and trial of stimulation.

MC186	Sacral Nerve Stimulation Accessories	Model 041827-002 Auxiliary screener cable 	One size only;  9-12.5cm	$128.00	Only to be used with Medtronic Itrel

kit. Polypropylene. OR Model 041828-002 	II pulse generator, model 7424.

Foramen Needle (box of 6). Sterile individual

units. Stainless steel.

MC188	Sacral Nerve Stimulation Unilateral	Activator. Model 3031. Polycarbonate.	One size only	$1,318.00	Only to be used with Medtronic Itrel

II pulse generator, model 7424.

MC291	Sacral Nerve Stimulation Lead Model 3093 	4 electrode tined lead - platinum iridium, 	28 - 41cm	$4,330.00

TINED LEAD	electrodes 0, 2, 3 are 3mm,electrode 1 is

10mm and coiled, spacing is 1.5mm

MC323	Adjustable Continence Therapy for Women	ACT Device: Prosthesis designed for the 	6 - 14cm	$4,060.00

treatment of female SUI comprising of a single

silicone balloon attached via a conduit to

titanium and rubber ports allowing for post

operative adjustment.

MC327	Adjustable Continence Therapy device for 	ACT Device: prosthesis designed for the 	6 - 14cm	$8,000.00

women	treatment of female SUI comprising of silicone

balloons x 2 attached via a conduit to titanium

and rubber ports allowing for post operative

adjustment.

MC342	Adjustable Continence Therapy for Men	ProACT Device: prosthesis designed for the 	6 - 14cm	$8,000.00

treatment of male SUI comprising of silicone

balloons x2 attached via a conduit to titanium

and rubber ports allowing for post operative

adjustment.

MC368	Adjustable Continence Therapy for Men	ProACT Device: Prosthesis designed for the 	6 - 14cm	$4,060.00

treatment of male SUI comprising of a single

silicone balloon attached via a conduit to

titanium and rubber ports allowing for post

operative adjustment.

MC719	InterStim Neurostimulator Model 3023	Titanium	42g	$9,350.00

Prostheses List by Category and Sponsor	Page 514 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Mentor Medical Systems

MN005	Inflatable Penile Prostheses-Implant Start-Up 	Saline filled penile implant	10cm,12,14,16,18,20,22.	$8,000.00	When provided in association with

Pack	Medicare Benefits Schedule Item

37429, 37426 or 37432

MN006	Malleable Penile Prostheses	Malleable rod implant	9ml,11ml and 13ml	$2,020.00	When provided in association with

Medicare Benefits Schedule Item

37429, 37426 or 37432

MN007	# Testicular Prosthesis	Saline and gel filled implant	Small, Medium, Large	$640.00	When provided in association with

Medicare Benefits Schedule Item

45051 preparatory to a subsequent

surgical service not precluded from

attracting Medicare Benefits

MN008	Urethrin Teflon Paste Kit	Female or male kit	One size only	$1,560.00

MN009	CINCH Bladder Neck Suspension Anchor 	Anchor fixation device	4mm Anchors	$540.00

MN022	Titan Inflatable Penile Prosthesis with Resist	Saline-Filled Penile Implant	10cm, 12cm, 14cm, 16cm, 18cm, 	$10,300.00

20cm, 22cm Cylinder Lengths

MN025	Acu-form Malleable Penile Prostheses	Malleable rod implant	9ml,11ml and 13ml	$2,020.00	$3,200.00	When provided in association with

Medicare Benefits Schedule Item

37429, 37426 or 37432

MN026	Silicone Elastomer Testicular Prosthesis	Saline and gel filled implant	Small, Medium, Large	$640.00	$800.00	When provided in association with

Medicare Benefits Schedule Item

45051 preparatory to a subsequent

surgical service not precluded from

attracting Medicare Benefits

MN027	Titan Inflatable Penile Prosthesis with Resist	Saline-Filled Penile Implant	10cm, 12cm, 14cm, 16cm, 18cm, 	$10,200.00	$10,500.00

20cm, 22cm Cylinder Lengths

N Stenning  & Co Pty  Ltd

NG028	DD Ureteric Tumor Stent Set	Open/Closed end with introducer and guide 	20 - 28cm	$120.00	$359.00

wire, Polyurethane

NG029	DD Ureteric Valve Stent Set	Open end with introducer and guide wire, 	22 - 30cm	$139.00

Polyurethane

NG030	Paediatric Ureteric Valve Stent Set	Open end with introducer and guidewire, 	12 - 22cm	$195.00	$288.00

Polyurethane

NG031	Paediatric Ureteric Integral Stent Set	Open end with introducer and guide wire, 	12 - 22cm Per pack of 5	$195.00

Polyurethane

NG032	DD Ureteric Stent Set	Open end with introducer and guide wire	22 - 30cm Per pack of 2	$235.00

Prostheses List by Category and Sponsor	Page 515 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

NG045	Essure System	Stainless steel, polyester fibre	One size only, 2 per pack	$1,240.00	$1,344.00	Only to be funded when provided in

a hospital/day hospital.  To be

reviewed in three years (2004) to

assess whether the place of insertions

is still consistent.

NG046	Paediatric Ureteric Valve Stent Set	Fixed length wirthan stent	12 - 22cm	$195.00	$288.00

Pyramed Australia LTD

PY001	Optimed Ureteric Stents	Soft-Polyurethane. Ureteral. Paediatric Ureteral.	Ureteral 4.5 x 28,30,32 cm; 6 x 	$210.00

Renal Transplantation. Urinary Diversion.	26,28,30,32 cm; 7 x 26,28,30,32

cm. Paediatric Ureteral 8 x 28,30,32

cm. Renal Transplantation 4 x

10,12,14,16 cm; 6 x 12,14,16 cm; 7

x 12,14,16 cm. Urinary Diversion 8

x 12,14,16 cm.

Surgiplas Medical

SP002	Testicular Implant	Silicone Elastomer	Small / Medium / Large	$640.00	When provided in association with

Medicare Benefits Schedule Item

45051.

Technology For Life Pty Ltd

TE003	# Micro Textured Testicular Implant	Silicone Enhanced	Small, Medium, Large, Ex-large	$640.00	$1,050.00	When provided in association with

Medicare Benefits Schedule Item

45051.

William A Cook Aust Pty Ltd

WC002	Sof-Flex Multi-length Ureteric Stent Set	Set includes Stent, Wire, Positioner	Multiple French Sizes, Multi-length	$194.00

WC003	Sof-Flex Multi-length Ureteric Stent Set	Stent and Positioner only	Multiple French Sizes, Multi-length	$194.00

WC009	Sof-Flex Double Pigtail & Multi-length 	Set includes Aqueous Coated (AQ) or Standard	Multiple French Sizes and Lengths	$194.00

Ureteric Stent Sets with Slipcoat Wire	 Stent, Slipcoat Wire & Positioner

WC018	C-Flex Endoureteratomy Stent Set	6.0/10.0 Fr, & 7.0/14.0 Fr, 	$236.00

Multiple Length

WC020	Towers Peripheral Ureteral Stent Set	Multiple French Sizes Multi-length	$210.00

WC022	C-Flex Double Pigtail Ureteric Stent Set	Set includes: Stent, Wire, Positioner	Multiple French Sizes, Multi-length	$176.00

WC023	Greene Renal Transplant Stent Set	Multiple French Sizes, Multi-length	$238.00

WC024	Ultrathane Endoureteratomy Stent Set	6/9.5 Fr & 7/14.0Fr , Multiple 	$229.00

Length

Prostheses List by Category and Sponsor	Page 516 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC027	Polyurethane Double Pigtail Stent Set	Multiple French Sizes and Lengths	$176.00

WC031	Bander Ureteral Diversion Stent Set	Left or right stent	Multiple French Sizes and Lengths	$129.00

WC034	Sof-Flex AQ Multi-length Pigtail Stent Set	Multiple French Sizes and Multi-	$194.00

Length

WC035	Multi-length Endosof Ureteral Stent Set	Set includes Hydrophilic Coated Stent,Wire 	Multiple French Sizes, Multi-	$256.00

and Positioner	Length

WC104	Cook Ureteral Stent - Sof-Flex Double Pigtail 	Radiopaque Sof-Flex Stent, Stainless Steel 	Multiple French Sizes and Lengths	$223.00

Stent Set - Special	Wire Guide, Radiopaque Polyurethane

Catheter and Radiolucent Vinyl Positioner

WC126	Firlit-Kluge Uretheral Stent	Firlit-Kluge uretheral stent	Multiple French Sizes, Length 30cm	$57.00

WC128	Bander Ureteral Diversion Stent Set	Left and Right Stents	Multiple French Sizes and Lengths	$210.00

WC130	Endo-Sof Double Pigtail Stent with AQ(R) 	Multiple French Sizes, Multi-	$256.00

Hydrophilic Coating	Lengths

WC131	Endo-sof double pigtail stent Set with AQ 	Multiple French Sizes and Lengths	$256.00

Hydrophilic Coating and Sideholes

WC136	Kaontz Urethral Stent	Kaontz Urethral Stent	Multiple French Sizes, Length 12cm	$48.00

WC137	Pediatric Urethral C-Stent	Multiple French Sizes, Length 15cm	$48.00

WC138	Filiform Double Pugtail Silicone Stent Set	Stent, Wire, Positioner	Multiple French Sizes and Lengths	$260.00

WC140	Filiform Multi-Length Silicone Stent Set	Stent, Wire, Positioner	Multiple French Sizes and Lengths	$260.00

WC143	Filiform Double Pigtail Silicone Stent Set	Stent and Positioner only	Multiple French Sizes and Lengths	$260.00

WC147	Kwart Retro-Inject Stent Set	Stent, Wire, Inserter, Release Sleeve	Multiple French Sizes and Lengths	$194.00

WC149	Sof-Flex Double Pigtail Ureteric Stent Set	Stent and Positioner only	Multiple French Sizes and Lengths	$194.00

WC150	Sof-Flex Double Pigtail Ureteric Stent Set	Set includes: Stent, Wire, Positioner	Multiple French Sizes and Lengths	$194.00

WC162	Tarkington Urethral Stent Set	Stent, Wire	8 Fr	$79.00

WC169	Endo-Sof Multi-length Ureteral Stent Set	Endo-Sof Multilength Stent Set	Multiple French Sizes and Lengths	$200.00

WC170	Endo-Sof Double Pigtail Ureteral Stent Set	 Stent and Positioner only	Multiple French Sizes and Lengths	$180.00

WC171	Endo-Sof Multi-Length Ureteral Stent Set	Stent and Positioner only	Multiple French Sizes and Lengths	$180.00

WC172	Endo-Sof Double Pigtail Ureteral Stent Set	Endo-Sof Double Pigtail Stent Set	Multiple French Sizes and Lengths	$200.00

Prostheses List by Category and Sponsor	Page 517 of 549

UROGENITAL

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC177	Surgisis Soft Tissue Graft	Surgical Mesh composed of Sub-Intestinal 	Length- 10cm, Width- 7cm	$770.00

Submucosa (SIS)

WC178	Surgisis Soft Tissue Graft	Surgical Mesh composed of Sub-Intestinal 	Length- 20cm, Width- 7cm	$950.00

Submucosa (SIS)

WC179	Stratasis Urethral Sling	Urethral Sling for Urinary Incontinence 	Length 10cm, Width 2cm	$425.00

constructed from Sub-Intestinal Submucosa

(SIS)

WC180	Stratasis Urethral Sling	Urethral Sling for Urinary Incontinence 	Length 30cm, Width 2cm	$690.00

constructed from Sub-Intestinal Submucosa

(SIS)

WC214	Cook Ureteral Stents	Amplatz Ureteral Stent Set, Ultrathane RB 	8.5Fr - 12,20,22,24,26,28cm and 	$238.00

Design Radioplaque Band and AQ Hydrophilic	10.2Fr - 22,24,26,28cm

Coating Set includes one stent positioner with

flexible stent introducer catheter

WC215	Stratasis-TF Urethral Sling Kit	Tension free sling made from SIS (sub-	2cm x 40cm	$1,080.00

intestinal mucosa).  One SIS sling with

attached ligatures and two ligature carriers with

removable handles

WC217	Sof-Flex Multilength Ureteric Stent Set	Set includes: Paediatric Stent, Wire, Positioner	3 Fr, Multiple Lengths	$254.00

WC218	C-Flex Multilength Ureteric Stent Set	Set includes: Paediatric Stent, Wire, Positioner	3.7 Fr, Multiple Lengths	$249.00

WC219	C-Flex Double Pigtail Ureteric Stent Set	Set includes: Paediatric Stent, Wire and 	3.7 Fr, Multilple Lengths	$249.00

Positioner

WC220	Sof-Flex Double Pigtail Ureteric Stent Set	Set includes: Paediatric Stent, Wire, Positioner	3 Fr, Multiple Lengths	$254.00

WC226	RESONANCE Metallic Ureteral Stent Set	Metallic Double Pigtail Stent	 6 Fr, Multiple Lengths	$1,685.00

Abbott Australasia Pty Ltd

AY007	Jostent SelfX Expanding Stent	Nitinol	Shaft length 15 - 180cm, stent 	$1,400.00

length 32 - 92mm

AY008	Jostent Renal Premounted	Balloon expandable	Stent length 12 - 17mm, diameter 5 	$1,350.00

- 7 mm

AY010	JOStent Peripheral Stent Graft	Stainless Steel/PTFE	4 - 12 mm x 12 - 58m mm	$2,850.00

AY014	Jostent Wavemax	Stainless Steel	Dia 5 - 12mm, length 12 - 58mm	$1,000.00

Prostheses List by Category and Sponsor	Page 518 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AY015	Xact/ Xact Flex Carotid Stent	Nitinol Self-Expanding stent on rapid exchange	Diameter 7-10mm Length 20 + 	$1,800.00

delivery system	30mm Straight; Diameter 8-6, 9-7,

10-8mm Length 20 + 30mm Tapered

AY016	Perclose Arterial Support and Closure System	Suture to close femoral artery puncture sites 	Closer S - 6-8Fr, Perclose AT - 6-	$390.00

following diagnostic and interventional 	8Fr, Prostar 8Fr, Prostar 10Fr

procedures

AY017	Starclose	6 Fr Exchange Sheath, Dilator, Guidewire, 	6 Fr	$390.00

implantable nitinol clip pre-mounted on a Clip

Applier

AY018	Emboshield	Embolic Protection Device, including delivery 	Filters 3, 4, 5, and 6mm, Large and 	$2,100.00	Temporary Approval pending review

system, device specific procedural wire, filter 	Small.. Two wire lengths: 190cm 	of product group

for capturing embolic matter and retrieval system	for Monorail systems and 315cm for

Over the Wire Systems

AY019	Xceed Self-expanding Stent System	Nitinol vascular stent and freestyle technology 	Diameter: 5 to 10mm. Length: 20 to	$1,800.00	$1,900.00

delivery system	 120mm

AY021	Nitinol Self Expanding Peripheral Stent	Nitinol	Length 20-100mm, Diameter 5-10mm	$1,800.00

AY022	Cobalt Chromium Balloon Expandable 	Cobalt Chromium	Length 12-18mm, Diameter 4-7mm	$1,350.00

Peripheral Stent

GU058	Dynalink Peripheral Self Expanding Stent 	-	Lengths 80cm and 120cm, Sizes 	$1,600.00

System	range  from 5mm x 28mm to 10mm

x 56mm

GU071	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm length	$1,800.00	$2,200.00

Ackermann Australia Pty Ltd

AK001	Haemostatic Ligating Clips	Titanium Ligating Clips	small - large	$7.80

Advanced ORT Pty Ltd

OA004	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular 	Length 40cm	$1,250.00

Access Graft

OA005	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular 	Length 50cm	$1,250.00

Access graft

OA006	Thoratec, Vectra Vascular Graft - Synthetic	Vectra, Biocompatible Polyurethane Vascular 	Length 20cm	$834.00

Access Graft

Atrium Australia-Pacific Rim Pty Ltd

AC001	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Standard 	4mm x 10cm - 10mm x 100cm	$1,468.00

Wall

Prostheses List by Category and Sponsor	Page 519 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

AC002	Atrium PTFE Vascular Graft	Straight PTFE Standard Wall	6mm x 10cm - 10mm x 90cm	$1,355.00

AC003	Atrium PTFE  Vascular Graft	Tapered PTFE Standard Wall	4-6mm x 30cm - 6-8mm x 90cm	$1,200.00

AC004	Atrium PTFE  Vascular Graft	Vascular Access Graft PTFE Standard Wall	4mm x 10cm - 10mm x 100cm	$1,100.00

AC012	Atrium PTFE Vascular Graft	Radially Supported (Ringed) PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	$1,800.00	$2,785.00

AC013	Atrium PTFE Vascular Graft	Straight PTFE Thin Wall	6mm x 10cm - 10mm x 90cm	$1,625.00	$1,849.00

AC014	Atrium PTFE Vascular Graft	Tapered PTFE Thin Wall	4-6mm x 30cm - 6-8mm x 90cm	$1,600.00	$2,000.00

AC015	Atrium PTFE Vascular Graft	Vascular Access Graft PTFE Thin Wall	4mm x 10cm - 10mm x 100cm	$1,320.00	$1,475.00

AC016	Atrium Ultramax PET Grafts	Bifurcate Polyster Graft	12mm x 24mm - 6mm x 12mm x 	$1,000.00

40cm

AC017	Atrium Ultramax PET Grafts	Axillo-bifemoral Polyster Graft	8mm - 10mm  100 x 60cm	$1,950.00

AC018	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 15cm  - 24mm  x 30cm	$1,055.00

AC019	Atrium Ultramax PET Grafts	Straight Polyster Graft	6mm x 40cm  - 8mm  x 100cm	$1,095.00

AC020	Advanta SST, VXT, AFT GDS	PTFE Vascular Graft	4mm x 10cm - 24mm x 100cm	$3,000.00

AC021	Advanta SST, VXT, AFT GDS	Radially Supported PTFE Vascular Graft	Diameter 4mm - 24mm; Length 	$3,384.00

10cm - 100cm

AC023	Advant PTFE V12 Stent Graft System	Balloon Expandable PTFE Encapsulated 	5mm - 12mm Diameter	$4,025.00

Stainless Steel Peripheral Vascular Stent

AC025	Atrium Ultramax Patches	Knitted Double Velour Vascular Patch.  	Size range 8mm x 75mm to 50mm 	$266.00

Composition is polyester impregnated with 	x 152mm

absorbable gelatin

AC026	Advanta SST	Bifurcated PTFE Graft	12mm - 24mm X 6mm - 12mm 	$3,384.00

Length 40cm

B Braun Australia Pty Ltd

BB016	Challenger Clip	Vessel clip	Medium-large	$65.00	Temporary Approval

BB017	Vascular Patch	Vascular patch	12x9 to 3x4	$205.00

BB018	Vascular Uni - Graft  	Vascular graft	100cm	$770.00

BB019	Vascular Uni - Graft  	Vascular graft	60cm	$665.00

BB020	Vascular Uni - Graft   	Vascular graft	50cm	$625.00

BB021	Vascular Uni - Graft  	Vascular graft	40cm	$665.00

BB022	Vascular Uni - Graft 	Vascular graft	30cm	$540.00

BB023	Vascular Uni - Graft  	Vascular graft	20cm	$470.00

Prostheses List by Category and Sponsor	Page 520 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB024	Vascular Uni - Graft  	Vascular graft	15cm	$391.00

BB025	Vascular Uni - Graft  	Vascular graft	10cm	$240.00

BB026	Vascular Uni - Graft - Tapered	Vascular graft	12x6 to 24x12	$702.00

BB027	Vascular Uni - Graft - Bifurcated	Vascular graft	12x7 to 12x12	$375.00

BB106	Temporary Vena Cava System	Phynox/ combination of various metals inc. 	One size, expands to Max length 	$1,377.00

Nickel,Copper, Molubden,Steel	38mm/Max diameter 30mm

BB119	Vascugraft	PTFE, Straight Standard Wall	Dia 4 - 10mm, length 40 - 50cm	$850.00

BB120	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 10 - 50cm	$850.00

BB121	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 60 - 80cm	$990.00

BB122	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 90cm	$1,160.00

BB123	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 10mm, length 80cm	$1,155.00

BB124	Vascugraft	PTFE - Straight Standard Wall	Dia 5 - 8mm, length 90 - 100cm	$1,055.00

BB125	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 70 - 100cm	$1,155.00

BB126	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length10 - 40cm	$725.00

BB127	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 10 - 40cm	$725.00

BB128	Vascugraft	Straight Standard Wall with Helix Support	Dia 6mm x  length 100cm	$1,260.00

BB129	Vascugraft	Straight Standard Wall with Helix Support	Dia 5 - 8mm, length 80 - 90cm	$1,260.00

BB130	Vascugraft	Straight Standard Wall with Helix Support	Dia 4 - 6mm, length 50 - 70cm	$1,055.00

BB131	Vascugraft	Thin Wall Tapered	Dia 4 - 8mm, length 40 - 90cm	$925.00

BB132	Vascugraft	Thin Wall Centre Helix	Dia 6mm, length 45cm	$725.00

BB133	Vascugraft	Thin Wall Centre Helix	Dia 5 - 6mm, length 45 - 50cm	$935.00

BB134	Vascugraft	Thin Wall Centre Helix	Dia 4 - 8mm, length 70 - 80cm	$1,045.00

BB136	Vascugraft	Standard Tapered	Dia 4 - 8mm, length 70 - 90cm	$1,025.00

BB137	Vascugraft	Standard with Centred Helix	Dia 4 - 8mm, length 70 - 90cm	$1,019.00

BB138	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 30 - 70cm	$875.00

BB139	Vascugraft	Standard with Short Taper	Dia 4 - 8mm, length 80cm	$1,025.00

BB141	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 70 - 80cm	$950.00

BB142	Vascugraft	Easy Glide - Standard Wall Straight	Dia 6mm, length 40 - 60cm	$850.00

BB143	Vascugraft	Easy Glide - Standard Wall with Helix Short 	Dia 6 - 8mm, length 40 - 70cm	$875.00

Taper

Prostheses List by Category and Sponsor	Page 521 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BB144	Vascugraft	Easy Glide - Thin Wall Straight	Dia 6 - 8mm, length 40 - 70cm	$850.00

BB145	Vascugraft	Thin Wall Centred Helix Tapered	Dia 4 - 7mm, length 70cm	$875.00

BB146	Vascugraft	Easy Glide - Thin Wall Straight with Helix 	Dia 6 - 8mm, length 40 - 80cm	$1,045.00

Support

BB155	Vascugraft	Standard Tapered	Dia 4 - 7mm, length 30 - 70cm	$875.00

BB156	Vascugraft	Standard Wall with Tapered Centre Helix	Dia 4 - 8mm, length 40 - 45cm	$825.00

BB157	Vascugraft	Standard Wall Stepped Taper	Dia 4 - 8mm, length 40 - 45cm	$825.00

BB169	Vena Cava Filter System	PHYNOX Introducer system, 'J' Guidewire, 	Diameter 28 mm	$1,860.00	$2,022.00

Seldinger needle, disposable scalpel

BB170	Celsite Access Port for pain relief	Composition - polysulphone.  Kit includes 	Diameter of septum:11.7mm.  	$495.00

tunnelling rod, filter, connectors, needles, 	Height: 11.5mm.  Dimension: 25.8

syringe, tuohy needle	x 37.8mm

BB244	Coroflex Blue	Cobalt Chromium Alloy L605	2-4mm diameter, 8-25mm length	$1,000.00

Bard Australia Pty Ltd

BA001	Memotherm Vascular Stents 	Memotherm nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 12 	$1,900.00

cm lengths

BA002	Pura Vario Stent	Saxx balloon expandable stainless steel stent	3mm - 14mm diameter, 13mm - 	$1,350.00

80mm length

BA003	Saxx Premounted Balloon Expandable Stent 	Pura vario stainless steel stent	3mm - 16mm diameter, 13mm - 	$1,648.00

80mm length

BA004	Encapsulated Carbon Lined Stent Graft 	AV access PTFE covered nitinol self-	4mm - 10mm diameter, 3cm - 8cm 	$2,800.00

expanding stent	length

BA005	Encapsulated Carbon Lined Stent Graft	Iliac / SFA PTFE covered nitinol self-	4mm - 10mm diameter, 3cm - 12cm	$2,800.00

expanding stent	 length

BA009	Simon Filter Femoral - 2110F, Simon Filter 	Nitinol self expanding vena cava filter - 	28mm Filter, 7Fr delivery	$2,022.00

Jugular - 2210J, Simon Filter Anticubital - 	"Simon Nitinol Filter"

2310A

BA010	Recovery Filter	Nitinol self expanding vena cava filter	28mm Filter, 7Fr delivery System	$2,022.00	$3,300.00

BA011	Grafts Vascular	Polyester soft-woven graft - bifurcated	13mm - 25mm diameter aortic 	$855.00

diameter, 6.5mm - 12.5 mm

Iliac/Femoral diameter

BA012	Grafts Vascular	Polyester knitted grafts - bifurcated	12mm - 24mm Aortic diameter, 	$942.00

6mm - 12mm Iliac/Femoral

diameter

Prostheses List by Category and Sponsor	Page 522 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA014	Grafts Vascular	Axillo-bifemoral polyester graft	8mm-10mm diameter, 50cm- 100cm	$960.00

length

BA015	Grafts Vascular	Intraluminal polyester graft	20mm - 29mm diameter, 4cm - 8cm	$1,700.00

length

BA017	Grafts Vascular	Polyester grafts - straight	5mm - 25mm diameter, 50cm-75cm	$700.00

length

BA018	Exs Bionit Vascular Grafts	Polyester graft - EXS	8mm - 10mm diameter, 35cm 	$725.00	$990.00

length

BA019	Impra PTFE Vascular Grafts 	ePTFE graft - radially supported, thin wall, 10	4mm - 8mm diameter	$1,035.00	$1,400.00

- 50cm long

BA020	Impra PTFE Vascular Grafts 	ePTFE graft - thin wall, 10 - 50cm long	3mm - 10mm diameter	$900.00

BA021	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin wall, 	4 - 8mm diameter	$1,300.00	$1,900.00

greater than 50cm long

BA022	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall, 	4 - 19mm diameter	$935.00	$1,400.00

10-50cm long

BA023	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall, 	4 - 10mm diameter	$1,300.00	$1,800.00

greater than 50cm long

BA024	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, greater than 50cm 	3 - 10 diameter	$1,135.00	$1,300.00

long

BA025	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, 10-50cm long	3 - 19mm diameter	$900.00	$990.00

BA026	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, greater than 50cm 	3 - 10mm diameter	$1,055.00	$1,450.00

long

BA027	Impra PTFE Vascular Grafts 	Distaflo ePTFE graft with preformed cuff	6-10mm diameter, 40 - 80cm length	$875.00	$1,700.00

BA028	Impra PTFE Vascular Grafts	Distaflo ePTFE graft with preformed cuff and 	6-10mm diameter, 40 - 80cm length	$1,300.00	$2,250.00

flex support

BA029	Impra PTFE Vascular Grafts 	Venaflo ePTFE graft with preformed cuff	4mm - 8mm diameter, 10cm - 50cm	$825.00	$1,260.00

length

BA030	Impra PTFE Vascular Grafts	Venaflo ePTFE graft with preformed cuff and 	4mm - 8mm diameter, 10cm - 50cm	$1,500.00

flex support	 length

BA031	Grafts Vascular	Polyester soft tissue patch 1mm thick 	5cm x 10cm	$150.00

BA032	Grafts Vascular	Polyester soft tissue patch 1mm thick 	10cm x 15cm	$280.00

BA033	Grafts Vascular	Polyester soft tissue patch 1mm thick 	15cm x 20cm	$380.00

BA034	Grafts Vascular	Polyester soft tissue patch 1mm thick 	20cm x 30cm	$450.00

Prostheses List by Category and Sponsor	Page 523 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA035	Grafts Vascular	PTFE Felt 2mm thick	5cm x 10cm	$150.00

BA036	Grafts Vascular	PTFE Felt 2mm thick	10cm x 15cm	$280.00

BA037	Grafts Vascular	PTFE Felt 2mm thick	15cm x 20cm	$380.00

BA038	Grafts Vascular	PTFE Felt 2mm thick	20cm x 30cm	$450.00

BA039	Grafts Vascular	Polyester pledgets	Rectangle, Oval, Circle, Square 	$85.00

2.9mm-8mm x 6mm - 9.5mm

BA040	VitaCuff, Hickman Catheter 	Dialysis/Apheresis catheter, dual lumen, 	36-45cm overall length	$342.00

silicone

BA048	VitaCuff, Broviac Catheters	Silicone, with VitaCuff	2.4 - 6.6 French Catheter	$342.00

BA049	Broviac Catheters	Without VitaCuff, silicone	2.4 - 6.6 French Catheter	$175.00	$275.00

BA050	Hickman Catheters Single	Without VitaCuff, silicone  	7 - 14.4F French Catheter	$247.00

BA051	Hickman Catheters Dual	Without VitaCuff, silicone  	7 -  9 French Catheter	$343.00

BA052	Hickman Catheters Triple	Without VitaCuff, silicone  	13.5 French Catheter	$406.00

BA053	Vitacuff, Hickman Single Lumen Catheters	Silicone, with VitaCuff  	7 - 14.4F French Catheter	$342.00

BA054	Vitacuff, Hickman Dual Lumen Catheters	Silicone, with VitaCuff  	7 -  9 French Catheter	$406.00

BA055	Vitacuff, Hickman Triple Catheters	Silicone, with VitaCuff  	13.5 French Catheter	$496.00

BA056	Subcutaneous Ports	Hickman open-ended catheter, single lumen 	8 - 9.6 French Catheter	$490.00	$715.64

BA057	Groshong Subcutaneous Ports	Single or dual lumen catheter	8 - 9.6 French Catheter	$510.00	$727.82

BA059	Dual Lumen Subcutaneous Ports	Silicone, Polyurethane or ChronoFlex Open-	7 - 10 French Catheter	$788.00

ended Catheter

BA060	Hickman Subcutaneous Ports	Low-Profile	6 - 6.6 French Catheter	$640.00

BA089	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular Patch 0.4mm Oval	20 x 90mm	$199.00

BA090	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, Circular	100 x 150mm	$748.00

BA091	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	50 x 75mm	$364.00

Rectangular

BA092	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	50 x 150mm	$364.00

Rectangular

BA093	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	30 x 30mm, 10 x 90mm, 30 x 60mm	$1,560.00

Rectangular, Patch 0.4 Oval, Rectangular

BA095	Impra PTFE Vascular Grafts 	ePTFE Cardiovascular, Patch 0.6mm, 	25 x 150mm	$307.00

Rectangular

Prostheses List by Category and Sponsor	Page 524 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA125	Groshong Catheter	Single Lumen, Sizes 3fr-8fr Groshong Valved-	Single Lumen, sizes 3fr-8fr	$316.00

Closed ended catheter

BA126	Groshong Catheter	Single Lumen, Sizes 5fr-9.5fr Groshong 	Dual Lumen, sizes 5fr-9.5fr	$368.00

Valved-Closed ended catheter

BA129	Vascular Catheter	PICC - may include a Groshong Valved - 	Single Lumen 3Fr - 6Fr	$170.00

Closed ended PICC, Single Lumen 3Fr-6Fr

BA130	Vascular Catheter	PICC- may include a Groshong Valved - 	Dual Lumen 4Fr - 7Fr	$205.00

Closed ended PICC, Single Lumen 4Fr-7Fr

BA140	HemoGlide Long Term Haemodialysis Catheter	Kit contents: 14.5fr catheter, 18g guidewire 	15, 19, 23 & 27cm straight kit; 19 	$350.00

introducer needle, 0.038" 70cm J-wire 	& 23cm Pre-curved kit; 19, 24 &

guidewire, 15fr PTFE introducer sheath, 8" 	28cm  and 31cm Pre-curved jugular

tunnelling device, 10-12fr dualator vessel 	kit.

dilator, 2 adhesive dressings, 2 injections caps,

silicone attachable suture wing, heparin label

and instructions for use.

BA159	HemoSplit Long Term Haemodialysis catheter	HemoSplit is a carbothane long term dual 	Standard Kit (straight15cm to42cm 	$475.00

lumen catheter used to provide vascular access 	and pre-curved 19cm to31cm),

for haemodialysis. It comprises of a double D 	Microintroducer Kits (straight 19cm

lumen configuration catheter each lumen 	to 42cm & pre-curved 19cm to

having an ID of 2.3mm) with a fixed split tip 	31cm)

(to 7.5cmm) which enables blood flow rates as

high as 500mls/minute.  The catheter shaft has

a tissue ingrowth cuff to assist tissue

anchoring.

BA167	Poly RadPICC Catheters	Single lumen open-ended Polyurethane	3, 4, 5Fr with 70cm guide wire	$126.00	Temporary approval pending review

of catheters

BA168	Poly RadPICC Catheters	Single Lumen open-ended Polyurethane	4, 5Fr with 135cm guide wire	$126.00	Temporary approval pending review

of catheters

BA169	Poly RadPICC Catheters	Double Lumen open-ended Polyurethane	4, 5, 6Fr with 70cm guide wire	$145.00	Temporary approval pending review

of catheters

BA170	Poly RadPICC Catheters	Double Lumen open-ended Polyurethane	5, 6Fr with 135cm guide wire	$145.00	Temporary approval pending review

of catheters

BA171	Dynaflo AK Bypass Graft	PTFE Graft	7 & 8mm diameter. 50, 60, 70, 	$1,055.00	$2,000.00

80cm lengths

BA175	HemoGlide Long Term Haemodialysis Catheter	14.5Fr Double D stepped tip cuffed catheter	31cm PC2 Jugular Kit	$320.00

Prostheses List by Category and Sponsor	Page 525 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BA177	SlimPort Ultra Low Profile Implanted Port	Ultra SlimPort Low Profile Plastic/Titanium 	Port: 16.9 x 22.7mm (W) x 9.2mm 	$530.00	$615.00

port with attachable Chronoflex® single lumen	(H); 2.9g Wt 6 Fr Catheter

catheter

BA178	Luminex Vascular Stent	Luminex nitinol self-expanding stent	4mm - 20mm diameters, 2cm - 	$1,900.00

12cm lengths

Baxter Healthcare Pty Ltd

BX255	Mahurkar 12Fr Triple Lumen Catheter	Mahurkar 12Fr Triple Lumen Catheter Curved 	12Fr - 13cm, 16cm, 19cm & 24cm 	$230.00	Temporary approval pending review

Extension Kit	lengths available	of catheters

BX256	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter	Mahurkar 13.5Fr Q-Plus Curved Extension 	13.5Fr - 13.5cm, 16cm, 19cm & 	$127.00	Temporary approval pending review

Double Lumen Catheter Kit	24cm lengths available	of catheters

BX257	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter	Mahurkar 13.5Fr Q-Plus Straight Extension 	13.5Fr - 13.5cm, 16cm, 19cm & 	$127.00	Temporary approval pending review

Double Lumen Catheter Kit	24cm lengths available	of catheters

Bio Nova International Pty Ltd

BN001	Bio Nova Vascular Graft	Flonova	One size only	$4,032.00

BN002	Omniflow II Vascular Prosthesis - Straight	-	5 - 10 mm x 65 cm	$3,891.00

BN003	Omniflow II Vascular Prosthesis - Straight	-	5 - 10 mm x 55 cm	$3,357.00

BN004	Omniflow II Vascular Prosthesis - Straight	-	3 - 4 mm x 20 cm	$1,775.00

BN005	Omniflow II Vascular Prosthesis - Straight	Vascular Patch	One size only	$672.00

BN006	Omniflow II Vascular Prosthesis - Curved	AV Access	One size only	$2,403.00

BN007	Bio Nova Omniflow II Soft Tissue Patches	2mm thick	5cm x 10cm	$311.00

BN008	Bio Nova Omniflow II Soft Tissue Patches	2mm thick	10cm x 15cm	$776.00

BN009	Bio Nova Omniflow II Soft Tissue Patches	2mm thick	15cm x 20cm	$1,403.00

BN010	Bio Nova Omniflow II Soft Tissue Patches	2mm thick	20cm x 30cm	$2,466.00

Biotronik Australia Pty Ltd

BT035	PEIRON	Flexible coated stent with delivery system	Dia 5-8mm, length 18-38mm	$2,500.00

BT072	Astron	Peripheral self expanding nitinol, coated stent	Dia: 6 - 12mm, Len: 30 - 100mm	$1,800.00

BT073	Motion Explorer	Motion explorer silicon carbide coated 	Dia:  2.5 - 3.5mm.  Len: 15 - 	$1,545.00

stainless steel balloon expandable peripheral

stent system 0.014 compatible

Boston Scientific Pty Ltd

BS013	Symphony Nitinol Stent	Self-expanding stents with radiopaque markers	Diameter x Length: 6-14mm x 22-	$1,600.00

60mm

Prostheses List by Category and Sponsor	Page 526 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS021	Fibred Platinum Coils, Braided Occlusion 	Platinum coil covered with dacron fibres. 	Delivery device lengths up to 	$1,250.00

Device (BOD), Vortx Coils, Excelsior, 	Delivery systems with nitinol braid, 	175cm.  Sizes of coils Diameter

Tracker, FasTracker, Turbotracker, Renegade, 	Polypropylene proximal, Polyethylene distal.	2mm - 30mm and lengths 2mm -

Spinnaker Elite	100mm.

BS026	Braided Occlusion Device (BOD) Fibered 	Platinum coil covered with dacron fibres	Coils 2-30mm x3-60mm	$140.00

Platinum Coil

BS027	Guglielmi Detachable Coil (GDC)	Platinum Coil. 	2-20mm x 4-30cm	$1,400.00

BS028	GDC Delivery Catheters	Delivery systems with nitinol  braid, 	150-175cm/3-25cm	$700.00	Only to be funded when used with a

Polypropylene promixal, Polyethylene distal; 	coil

Tracker 10 Unibody Infusion Catheter,

Fasttracker Vascular Access System, Turbo

Tracker Infusion Catheter; Fastracker Vascular

Access System; Turbo Tracker Infusion

Catheters; Tracker Excel Microcatheter;

Renegade Fibre Braided Microcatheter;

Excelsior 1018 Microcatheter.

BS031	PVA/Contour SE for embolization and 	Polyvinyl alcohol foam and delivery system; 	45-150 micron, 150-250 micron, 	$200.00

delivery system	Microcatheter for PVA delivery; Delivery 	250-355 micron, 355-500 micron,

systems with nitinol braid, Polypropylene 	500-710 micron, 710-1000 micron,

promixal, Polyethylene distal. Contour 	1000-1180 micron, 150-175cm/3-

Embolisation Particles, FasTracker, Tracker, 	25cm

TurboTracker, Renegade Hi Flo Catheter

BS034	PVA Particles (contour embolisation, Contour 	Polyvinyl alcohol foam with a hydrophilic 	45-150 micron, 150-250 micron, 	$200.00

SE 	spherical shape for delivery improvements	250-355 micron, 355-500 micron,

500-710 micron, 710-1000 micron,

1000-1180 micron; 1ml, 2ml

BS035	Expandable Endovascular Wallstent	Wallstent - Easy Wallstent, Iliac Wallstent (A 	Stent Diameter x Stent Length: 6-	$1,800.00

self-expanding stent that has a cylindrical 	16mm x 18-70mm

braided structure composed of 24 wires with

core of either tantalum or platinum).

BS036	Schneider Endovascular Grafts: Straight	A self expanding, flexible endoprosthesis, 	Size: 6-16mm, 30-90mm	$2,750.00

made of medium porosity PET graft material

with radiopaque tracer wire

BS056	Carotid Wall Stent	Model SCH64371, SCH64377, SCH64378, 	Fully open diameter 6.0 - 10.0mm, 	$1,800.00

SCH64379, SCH64382, SCH64383, 	Fully open length 22 - 37mm

SCH64384, Elgiloy (cobalt chromium),

flexible low profile, self expanding

Prostheses List by Category and Sponsor	Page 527 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS058	GDC Trispan	3 nitinol loops (or petal) with platinum wire 	Dia 6 - 10, 12, 14, 16mm	$1,800.00

wrapped around each petal, a 018 catheter

delivery wire

BS059	Express Vascular LD Stent; Express Vascular 	316L stainless steel stent mounted on a 	Diameter 4mm - 10mm, Length 	$1,800.00

SD Stent	balloon.  The balloon shaft is polyurethane 	14mm - 60mm

with coextrusion balloon on a distal end where

stent is crimped to.

BS063	Wallstent RP; 7Fr Placehit Wallstent	Wallstent TIPS endoprosthesis, wallstent 	Diameter 6mm - 24mm, Length 	$1,800.00

biliary endoprosthesis, wallstent iliac 	18mm - 90mm

endoprosthesis, wallstent endoprosthesis

tracheobronchial  with unistep plus delivery

sytem, 7Fr Placehit Wallstent.  Stent

composition - biomedical superalloy wire,

braided in mesh, unistep delivery system

composition - blue polyimid material,

stainless steel

BS065	Vaxcel Implantable Vascular Access System	Polyurethane Catheter Material with dual 	16 French catheter tapering to a 14 	$330.00

lumens and a staggered distal tip; polyester cuff	French, lengths 19, 23, 28cm

which provides catheter security and tissue

growth; clear extension tubes with clamps

BS072	Matrix Detachable Coils	Platinum coils covered with an absorbable 	Length: 1 to 30cm; Diameter: 2 to 	$1,750.00

copolymer	20mm

BS077	Sentinol Nitinol Vascular Stent System	Implantable metallic stent and Uniflex delivery	Diameter: 5 to 10mm. Length: 20 to	$1,800.00

system	 120mm

BS079	Neuroform 2 Microdelivery Stent System	Self-expanding nitinol stent, 3fr delivery 	Diameter: 2.5-4.5mm, Length: 	$7,500.00

catheter, peelable sheath, 2fr stabilising 	10mm-30mm

catheter, rotating haemostasis valve (x2)

BS080	Matrix SR Detachable Coils	Matrix SR Detachable Coils are 	Length: 2cm to 30cm, Diameter: 	$1,850.00

Platinum/Tungsten alloy coils covered with an	2mm to 10mm

absorbable PGLA copolymer (90% Poly-

glycolic acid/ 10% Poly-lactic acid)

BS081	GDC 360 Shaped Detachable Coil	Bare platinum coil- the first 1.5 loops are 25% 	Length: 5cm to 40cm; Diameter: 	$1,640.00

smaller than the stated helical coil diameter 	2mm to 24mm

which provides for greater aneurysm framing,

packing and finishing

Prostheses List by Category and Sponsor	Page 528 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

BS084	Filterwire EZ	Stainless steel wire 0.014", either 190cm or 	3.5mm - 5.5mm on 190cm delivery 	$2,100.00	Temporary Approval pending review

300cm long, radiopaque nose cone from sheath	system	of product group

- 6.5mm long and composed of pebax,

polyurethane 110micron pore filter 1.5cm long,

suspended nitinol loop, articulating and

radiopaque, 3.2F sheath, radiopaque

BS085	Filterwire EZ	Stainless steel wire 0.014", either 190cm or 	3.5mm - 5.5mm on 190cm delivery 	$2,100.00	Temporary Approval pending review

300cm long, radiopaque nose cone from sheath	system. 3.5mm - 5.5mm on 300cm 	of product group

- 6.5mm long and composed of pebax, 	delivery systen.

polyurethane 110micron pore filter 1.5cm long,

suspended nitinol loop, articulating and

radiopaque, 3.2F sheath, radiopaque

BS087	Vaxcel PASV PICC	Single lumen catheters	3, 4, 5 & 6 Fr	$175.00	Temporary approval pending review

of catheters

BS088	Vaxcel PASV PICC	Dual lumen catheters	3, 4, 5 & 6Fr	$210.00	Temporary approval pending review

of catheters

BS100	Matrix Detachable Coils	Platinum/Tungsten alloy coils covered with an	Length: 2cm to 40cm, Diameter: 	$1,850.00

absorbable PGLA copolymer (90% 	2mm to 24mm

Polyglycolic acid/ 10% Polylactic acid)

BS115	Nexstent Monorail	Self expanding Nitinol closed cell stent with 	4-9mm, 30mm	$1,900.00

dynamic tapering

Device Technologies Australia Pty Ltd

DE267	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material 	Diameter 22-46mm, Length 103-	$11,055.00	$14,500.00

Braided Polyester PFTE Impregnated Suture 	221mm

Dual Sheath Delivery System

DE268	Relay Thoracic Stent Graft	Distal Extension System	Diameter: 22-26mm, Length 104-	$8,800.00	$10,500.00

127mm

Edwards Lifesciences Pty Ltd

EL040	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 15mm - 18mm, 0.035 	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	compatible

stent and deployment system

EL041	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 19mm - 27mm, 0.035 	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	compatible

stent and deployment system

EL042	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 28mm - 37mm, 0.035 	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	compatible

stent and deployment system

Prostheses List by Category and Sponsor	Page 529 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EL043	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 38mm - 56mm, 0.035 	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	compatible

stent and deployment system

EL044	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 15mm - 18mm, 0.018 	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	compatible

stent and deployment system

EL045	Lifestent - Peripheral Stent	Stent: Stainless Steel composition. Items 	Stent Length 19mm - 27mm, 0.018 	$2,533.33

included in delivery system: nylon balloon, 	compatible

stent and deployment system

EL046	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items 	Stent Length  28mm - 37mm, 0.018	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	 compatible

stent and deployment system

EL047	Lifestent - Peripheral Stent	Stent: Stainless Steel Composition. Items 	Stent Length 38mm - 56mm, 0.018 	$1,800.00	$2,150.00

included in delivery system: nylon balloon, 	compatible

stent and deployment system

EL048	Lifestent Peripheral Stent	Stent: Nitinol composition with tanilum 	6-8mm Diameter, length 20-90mm	$2,250.00

markers, Items included in the delivery

system: Stent, deployment system

EL051	Lifestent	Laser cut nitinol self expanding stent, used to 	Diameter:  6-10mm, Length:  20-	$2,400.00

treat peripheral disease	100mm

EL052	Lifestent	Laser cut nitinol self expanding stent, used to 	Diametre:  6-8mm, Length: 110-	$4,000.00

treat peripheral disease	170mm

Endotherapeutics Pty Ltd

ET006	Embospheres	-	2ml per implant	$610.00

ET007	Embospheres	-	1ml per implant	$200.00	$540.00

ET008	Embospheres	-	.5ml per implant	$150.00	$342.00

ET025	Optimed Iliac Sinus Stent	Sinus-wave nitinol stent	4-12mm x 30-100mm	$1,800.00	$2,200.00

ET026	Optimed Femoral Sinus Stent	Sinus-wave nitinol stent	4-12mm x 30-100mm	$1,800.00	$2,200.00

ET037	SX-Ella Endovascular Stent	Uncovered, self-expanding nitinol stent	Dia 6-16mm, length 22-77mm	$2,500.00

ev3 Australia Pty Ltd

EE004	SpideRX Embolic Protection Device	SpideRX Embolic Protection Device	3, 4, 5, 6, 7mm	$2,100.00

EE005	Protégé Nitinol Stent	Carotid stent	Tapered 8 - 6, 9 - 6, 10 - 7mm; 	$1,800.00

Straight 6-10mm

EE006	Protégé Nitinol Stent	Peripheral stent	Straight 6 - 14mm	$1,800.00

Prostheses List by Category and Sponsor	Page 530 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

EE007	Nexus Detachable Coils	Nexus Tetris	Diam 3-19mm, Length 4-29cm	$1,850.00

EE008	Nexus Detachable Coils	Multi Diameter	Diam 4-10mm / Length 10-30cm	$1,250.00

EE015	Protégé RX Stent	Peripheral Stent	Straight 6-12mm	$1,800.00

EE016	Protégé RX Stent	Crotid Stent	Tapered 8-6, 9-6, 10-7mm Straight 	$1,800.00

6-10mm

EE017	Nexus Detachable Coil	Helix	Diameter 2-10mm / Length 1 - 	$1,250.00

30cm

EE018	Onyx	DSMO/Liquid Embolic Material	18, 20, 34 (formulations)	$2,300.00

EE019	Onyx System	DSMO Liquid Embolic Material	500 Formulation	$4,950.00

EE020	IntraStent Expandable Stent	Stainless Steel	2.8 x 10, 16, 26, 36, 56, 76mm	$1,800.00

Five Corners Pty Ltd

FC001	Endoluminal Stent Graft and Delivery System	Multiple sizes of stent graft on pre-loaded 	Dia 15-27mm, Length 87-189mm	$10,000.00

catheter shaft for delivery and deployment,

comprised of Pet & Nitinol

Imthage Pty Ltd

IM001	Venous Valve Ring	Dacron/silicone variable diameter ring	52mmx15mmx0.09 mm	$900.00

Johnson & Johnson Medical Pty Ltd

JJ057	Palmaz Balloon Expandable Stent	Stainless steel stent	Diameter 4-12mm, length 20-30mm	$1,570.00

JJ058	Palmaz Balloon Expandable Stent	Stainless steel stent	Extra-large	$1,800.00

JJ068	SMART .018" Peripheral Stent System	Nitinol carotid stent and delivery system	6 - 10 mm	$1,900.00

JJ224	TruFill Pushable coil	Platinum pushable  coil of 1. Straight, 2. C, 3.	Size .014" outer diameter.  Size 2 - 	$33.25

Flat spiral and 4. Complex shapes.  Embolic 	10mm and length 2 - 100mm

coil and delivery tube.

JJ235	SMART Peripheral stent system	Laser cut nitinol tube.  Available in long 	Dia 6 - 8mm, length 120mm	$1,900.00

stents to treat large vessel lesions.

JJ304	Palmaz Genesis Peripheral Stent and Delivery 	Stainless steel balloon expandable stent 	Diameter 4-8mm, length 12-39mm	$1,800.00	$2,050.00

System on Slalom	mounted on a slalom balloon

JJ305	Palmaz Genesis Peripheral Stent and Delivery 	Stainless steel balloon expandable stent 	Diameter 4-8mm, length 12-39mm	$1,800.00	$2,158.83

System on Opta Pro	mounted on an Opta Pro Balloon

JJ306	Palmaz Genesis Peripheral Stent	Stainless steel peripheral stent	Diameter 4-12mm, length 11-79mm	$1,780.00

JJ419	SMART Control Peripheral Stent System	SMART Control is a laser cut nitinol self 	Dia 6-10mm; Length 20, 40, 60, 	$2,400.00

expanding stent, used to treat peripheral vessel 	80, 100mm

disease.

Prostheses List by Category and Sponsor	Page 531 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

JJ423	OPTEASE retrievable vena cava filter	OPTEASE is a laser cut nitinol vena cava 	Suitable for vessels up to 30mm	$2,300.00

filter, used to treat patients at high risk of

pulmonary embolisation

JJ445	ANGIOGUARD XP Emboli Capture 	Distal protection device and delivery system	Length: 300cm, diameter: 0.014, 	$2,100.00	Temporary Approval, pending review

Guidewire System	Basket sizes 4mm, 5mm, 6mm, 	 of product group

7mm, and 8mm

JJ463	PRECISE RX Nitinol Stent System	Nitinol self expandable stent and repid 	Stent Lengths 20, 30, 40mm; Stent 	$2,420.00

exchange delivery system	Diameter: 5, 6, 7, 8, 9, 10mm

JJ479	PALMAZ GENESIS on CORDIS AMIIA RX 	Peripheral balloon expandable stent and rapid 	Lengths: 12, 15, 18, 24mm. 	$2,300.00

.014 Delivery System	exchange delivery system	Diameter: 4, 4.5, 5, 5.5, 6, 6.5, 7mm

JJ480	Angioguard RX Emboli Capture Guidewire 	Distal protection device and delivery system	Length 180cm, Diameter 0.014"; 	$2,100.00	$2,619.75	Temporary Approval pending review

System	basket sizes 4mm, 5mm, 6mm, 	of product group

7mm and 8mm

JJ485	Trufill DCS Orbit detachable coil	Helical Fill	2mm - 12mm, 2cm - 30cm	$1,400.00

JJ486	Trufill DCS Orbit detachable coil	Complex Standard	6mm - 20mm, 15cm - 30cm	$1,505.00

JJ487	Trufill DCS Orbit detachable coil	Complex Mini	2mm - 12mm, 1.5cm - 30cm	$1,505.00

JJ567	PALMAZ® BLUE™ .018 Peripheral Stent 	L605 Cobalt Chromium Alloy Balloon 	12, 15, 18, 24mm length 4, 5, 6, 	$1,800.00	$2,450.00

System	Expandable Stent	7mm diameter

Kendall Australasia Pty Ltd T/A Tyco Healthcare Pty Ltd

KA007	Mahurkar Subclavian Catheter Kit	Chronic haemodialysis, long term vascular 	36, 40cm	$178.96

access for haemodialysis and apheresis.

Constructed of radiopaque silicone rubber.  Kit

contains: Catheter, 18ga Introducer Needle,

J/Straight 0.038" Guidewire, 10cc Syringe,

Tunnelling Stylet, Pull-Apart Sheath/Dilator,

(4) Gauze Sponges, (2) Wound Dressings, (2)

Injection Sealing Caps.

KA008	Single Lumen Right Atrial Catheter	Central Venous Catheters constructed of 	84cm, 1.3mm OD, 94cm 2.2mm 	$52.51

radiopaque silicone rubber	OD, 94cm 3.2mm OD

KA009	RAAF Dual Lumen Catheter	Central Venous Catheter constructed of 	4.5mm (Catheter), 95cm (Catheter 	$135.11

radiopaque silicone rubber	Overall Length); 3.2mm (Catheter),

102cm (Catheter Overall Length)

KA010	Triple Lumen Right Arterial Catheter	Central Venous Catheter constructed of 	3.9mm	$202.91

radiopaque silicone rubber

Prostheses List by Category and Sponsor	Page 532 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

KA011	Permcath Dual Lumen Catheter	Chronic Haemodialysis, long term vascular 	36cm, 40cm	$324.45

access for haemodialysis and aphaeresis.

Constructed of radiopaque silicone rubber. Kit

contains: Catheter, 18ga Introducer Needle,

J/Straight 0.038" Guidewire, 10cc Syringe,

10Fr. Dilator (28cm only), 12Fr. Dilator

(except 28cm), #11 Scalpel, Tunnelling Stylet,

Oval Pull-Apart Sheath/Dilator, (4) Gauze

Sponges, (2) Wound Dressing, (2) Injection

Sealing Caps.

KA012	Mahurkar Subclavian Catheter Kit	Acute haemodialysus, short term vascular 	11.5 Fr, 13.5cm Straight Extension,	$126.87

access. Catheters constructed of radiopaque 	 11.5 Fr, 16cm Straight Extension,

polyurethane. Tips are made of polyvinyl 	11.5 Fr 19.5cm Straight Extension,

chloride and are more radiopaque than the rest 	10 Fr 12cm Curved Extension, 10

of the catheter. Kit contains: 10 or 11.5 Fr 	Fr 15cm Curved Extension, 11.5 Fr

Catheter, 18ga Introducer Needle, J/Straight 	16cm Curved Extension, 11.5 Fr

Guidewire, 10 Fr Dilator, 12 Fr Dilator, 2 x 	16cm Curved Extension, 11.5 Fr

Adhesive Wound Dressings.	19.5cm Curved Extension

KA013	Permcath Dual Lumen Catheter	Chronic haemodialysis, long term vascular 	28, 36, 40cm	$283.97

access for haemodialysis and aphaeresis.

Constructed of radiopaque silicone rubber.

KA014	Mahurkar Maxid Catheters	Catheters constructed of radiopaque 	Size, 38, 43, 48, 53cm	$298.70

polyurethans, high kink resistant.  The arterial

lumen is shorter than the venous lumen at the

catheter's distal end in order to reduce

recirculation during haemodialysis

Medical Specialties  Australia Pty Ltd

MS009	Catheterisation kits(Horizon Medical)	Central Venous Catheter - right atrial catheter, 	2.7 -14F	$408.00

silicone

MS010	Catheterisation kits(HDC corp)	Central Venous Catheter - right atrial catheter, 	2 - 12F	$397.00

silicone

MS014	Injection/Infusion Ports Sterile	Plastic/titanium, single lumen	5-15F	$755.00

MS015	Injection/Infusion Ports Sterile	Plastic/titanium, dual lumen	10, 10.5, 12F	$770.00

MS016	Injection/Infusion Ports Sterile	Plastic/titanium, paediatric	5, 6, 7,8, 9.6F	$755.00

Prostheses List by Category and Sponsor	Page 533 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Medical Vision Australia Pty Ltd

MF005	Nit-Occlud Coil System	System for transcatheter occlusions of PDA 	Dia 4 x 4mm - 14 x 6mm	$4,500.00

with spiral coils.  Includes Nit-Occlud spiral

coil with deployment handle

MF015	CP Stent	CP Stent Uncovered	16, 22, 28, 24, 39 & 45mm length	$2,500.00

MF016	CP Stent	CP Stent Covered	16, 22, 28, 24, 39 & 45mm length	$3,000.00

MF017	CP Stent	CP Stent Uncovered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm length	$3,600.00

MF018	CP Stent	CP Stent Covered, mounted on BIB balloon	16, 22, 28, 24, 39 & 45mm length	$4,300.00

MF019	EVO Nitinol Stent	EVO Nitinol Stent	6, 7, 8, 9 & 10mm diameter; 20, 	$1,800.00

40, 60 & 80mm length

Medtel Australia Pty Ltd

ME070	Micrus ACT Platinum Microcoil Delivery 	Platinum Coil	Helical Stretch Resistant - 2mm x 	$1,400.00

System	1cm  - 10mm x 30cm

ME085	Micrus ACT Platinum Microcoil Delivery 	Platinum Coil	Helical - 2mm x 2cm - 10mm x 30cm	$1,700.00

System

ME086	Micrus ACT Platinum Microcoil Delivery 	Platinum Coil	Helical Soft Stretch Resistant - 2mm	$1,700.00

System	 x 1cm - 4mm x 8cm

ME087	Micrus ACT Platinum Microcoil Delivery 	Platinum Coil	Spherical - 2mm x 2.5cm - 19mm x	$1,545.00

System	 30cm

ME088	Micrus ACT Platinum Microcoil Delivery 	Platinum Coil	Straight - 4mm x 10cm - 6mm x 	$1,445.00

System	30cm

ME107	Superstitch	Suture Mediated Closure Device	Sheath sizes: 6F and 8F	$390.00	Temporary Approval

ME133	Micrus ACT Platinum Microcoil Delivery 	Cerecyte	Helical Cerecyte - 2mm x 2cm - 	$1,850.00	$1,950.00

System	10mm x 30cm

ME134	Micrus ACT Platinum Microcoil Delivery 	Cerecyte	Helical Soft Stretch Resistant 	$1,850.00	$1,950.00

System	Cerecyte - 2mm x 1cm - 4mm x

8cm

ME135	Micrus ACT Platinum Microcoil Delivery 	Cerecyte	Spherical Cerecyte - 2mm x 2.5cm -	$1,850.00	$1,950.00

System	 19mm x 30cm

ME182	Amplatzer Vascular Plug	Self expandable nitinol wire mesh	Diameter 4mm - 16mm, Length 7 &	$1,900.00

8mm

Medtronic Australasia Pty Ltd

MC146	Exponent RX Self Expanding Carotid Stent 	Nitinol	Diameter: 6 - 10mm, Length: 20 - 	$1,800.00

Delivery System	40mm

Prostheses List by Category and Sponsor	Page 534 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

MC148	Talent AAA Bifurcated Stent Graft	Endoluminal Stent Graft System -Bifurcated 	24-36 x 8-24 x 140-170mm	$12,150.00

Graft & Contralateral Limb

MC153	Talent AAA Aorto Uni lliac Stent Graft	Talent Endoluminal Stent Graft System - AUI 	22 - 36mm x 75 - 310mm	$13,100.00

Tapered System.

MC158	Talent Aortic Extension Stent Graft	Talent Endoluminal Stent Graft - Aortic 	22 - 36mm x 26 - 30mm	$3,100.00

Extension

MC159	Talent Thoracic Extension Stent Graft	Talent Endoluminal Stent Graft - Thoracic 	26 - 46mm x 80 - 90mm	$4,920.00

Extension

MC160	Talent lliac Extension Graft	Talent Endoluminal Stent Graft - lliac 	8 - 26mm x 60 - 200mm	$4,100.00

Extension

MC203	Talent Occluder System	Nitinol stents attached to polyester graft sealed 	Standard Sizes, 8 - 24mm x 31 - 	$2,700.00

both ends	35mm

MC206	Talent Thoracic Stent Graft	Talent Endoluminal Stent Graft - Thoracic 	22 - 46mm x 130mm	$11,055.00

Stent Graft System

MC328	Racer Renal Stent System	Cobalt Alloy	Diameter: 4-7mm; Lengths: 12 	$1,800.00	Temporary approval, pending review

&18mm	of product group

MC370	GuardWire Plus Temporary Occlusion and 	GuardWire temporary occlusion balloon, 	Length 200 and 300cm; Balloon 	$2,100.00	Temporary Approval pending review

Aspiration System	MicroSeal adaptor, EZ Flator, Export 	Occlusion Diameter: 3.0-6.0mm; 	of product group

Aspiration Catheter and filter. Materials: 	Distal Tip Length: 2.5cm; Guard

nitinol hypotube, a soft elastic polymer, 	Wire Shaft O.D: 3.5mm

polycarbonate, polyurethane, stainless steel

MC679	AngioLink Vascular Closure Device	Titanium staple	6F - 8F	$390.00

MC702	Aurora Stents: Self Expanding Stent Delivery 	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 - 	$1,800.00

System	80mm

MC715	Interceptor Plus Filter System	Braided Nitol	Filter: 3.5 - 6.5mm; Length: 	$2,022.00

180cm; Profile: 0.032 - 0.036"

MC729	Bridge Assurant Stents: Balloon Expandable 	Stainless Steel, Nitinol	Diameter: 6 - 10mm, Length: 20 - 	$1,800.00

Stent Delivery System	80mm

Pacing Importers Pty Ltd

PI004	Stentself Stent	Phynox construction, adapted sizes & diameters	Dia 5 - 9mm  Length: 20 - 100mm	$1,800.00

Pyramed Australia LTD

PY005	Optimed Iiiac Sinus Stent	Sinus-wave nitinol stent	4 - 12mm x 30 - 100mm	$1,800.00	$2,200.00

PY006	Optimed Femoral Sinus Stent	Sinus-wave nitinol Stent	4 - 12mm x 30-100mm	$1,800.00	$2,200.00

Prostheses List by Category and Sponsor	Page 535 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

St. Jude Medical Australia Pty Ltd

SJ014	Angio-Seal Vascular Closure Device - STS 	Angio-Seal Haemostatic Puncture Closure 	6F	$400.00	Temporary approval

Platform and STS Plus	Device, Models 6F-STS Platform and 6F STS

Plus

SJ015	Angio-Seal Vascular Closure Device - STS 	Angio-Seal Haemostatic Puncture Closure 	8F	$400.00	Temporary approval

Platform and STS Plus	Device, Models 8F-STS Platform and 8F STS

Plus

SJ041	Intergard W	Woven Straight	6mm x 30cm  -  38mm x 30cm	$1,055.00

SJ042	Intergard W	Woven Bifurcated	18mm x 9mm  -  24mm x 12mm	$1,000.00

SJ043	Intergard W	Woven Aortic Arch	24mm x 10mm x 8mm x 8mm x 	$1,950.00

50cm - 30mm x 10mm x 8mm x

8mm

SJ044	Intergard K	Knitted Straight	6mm x 40cm - 24mm x 40cm	$950.00

SJ045	Intergard K	Knitted Bifurcated	12mm x 6mm - 24mm x 12mm	$1,000.00

SJ046	Intergard K	Knitted Radially Supported	6mm x 70cm - 8mm x 60cm	$1,205.00

SJ047	Intergard K	Knitted Axillobifemoral	Diameter (mm) Length (cm) 8 x 8 	$1,950.00

100/60; 10 x 10 100/60; 8 x 6 x 6

85/55; 8 x 8 85/55; 8 x 8 100/55

SJ080	Proxis Embolic Protection System	Proximal embolic protection device and 	7F and 8F	$2,100.00	Temporary listing pending review of

delivery system	distal protection devices

SJ094	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure 	6F	$400.00

Device Models 6F STS Platform, 6F STS

Plus and 7F VIP

SJ095	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure 	8F	$400.00

Device Models 8F STS Platform, 8F STS

Plus and 8F VIP

Tekmed Pty Ltd

TK005	Medcomp Long Term Catheter sets for 	ASH, TESIO-BioFlex with cuff	10, 14 French   24,28,32 & 36cm 	$450.00

Haemodialysis	lengths

TK006	Medcomp Long Term Catheter sets for 	HemoFlow HFS-Carbothane with cuff	14.5 French   24,28,32 & 36cm 	$295.00

Haemodialysis	lengths

Prostheses List by Category and Sponsor	Page 536 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TK007	Pro-PICC CT power injection and PICC 	Mecomp Pro-PICC CT power injection and 	Single and double lumen, 4, 5, and 	$165.00

therapy catheter sets	PICC therapy catheter sets, incl. micro-	6 french, 65cm or 130cm nitinol

puncture set, tearaway introducer sheath, 	guidewire

nitinol marked guidewire with platinum tip,

positive pressure valved cap(s), syringe,

statlock, mini scalpel, 21g echo tip needle

Terumo Corporation Australia

TU002	Anaconda Endovascular Graft System	Bifurcated Aortic System, Polyester/Nitinol	18 - 34mm	$12,150.00

TU003	Anaconda Endovascular Graft System	Aortic Extension Cuff, Polyester/Nitinol	18 - 34mm	$2,710.00

TU004	Anaconda Endovascular Graft System	Iliac Extension Cuff, Polyester/Nitinol	8 - 18mm	$3,100.00

TU005	Anaconda Endovascular Graft System	Iliac Leg, Polyester/Nitinol	8 - 18mm	$3,100.00	$3,300.00

TU006	Twillweave Graft	Straight, Polyester, Woven, Unsealed	6-24mm x 50-60cm	$640.00

TU007	Twillweave Graft	Bifurcate, Polyester, Woven, Unsealed	12mm x 6mm x 45cm to 24mm x 	$885.00

12mm x 45cm

TU008	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	6 to10mm x 30cm	$850.00

Fluoropolymer/polyester, Knitted

TU009	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped. 	6 to10mm x 40 to 70cm	$1,130.00

Fluoropolymer/polyester, Knitted

TU010	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally 	6 to10mm x 30cm	$980.00

Reinforced. Fluoropolymer/polyester, Knitted

TU011	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally 	6 to10mm x 40 to 70cm	$1,842.00

Reinforced. Fluoropolymer/polyester, Knitted

TU012	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Knitted	0.6 x 7.5cm to 1.5 x 7.5cm	$245.00

TU013	Gelweave Graft	Bifurcated, Polyester, Woven	12mmx 6mmx 45 cm to 	$942.00

24mmx12mm x 45cm

TU014	Gelsoft Plus Graft	Bifurcated, Polyester, Knitted	12mmx6mmx45cm to 	$942.00

24mmx12mmx45cm

TU015	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 40cm	$980.00

TU016	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 75m	$1,409.00

TU017	Gelsoft Plus Graft	Polyester, Externally Reinforced, Knitted	6 to 10mm x 100cm	$1,521.00

TU018	Gelsoft Plus Graft	Axillofemoral, Polyester, Knitted	8x8mm/100x60cm; 	$1,900.00

8x7mm/90x40cm; 10x8mm/90x40cm

TU019	Gelsoft Plus Graft	Femorofemoral, Polyester, Knitted	6mmx30cm to  8mmx40cm	$865.00

Prostheses List by Category and Sponsor	Page 537 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

TU020	Gelsoft Plus Graft	Straight, Polyester, Knitted	6 - 24mm x 12.5 - 30cm	$725.00

TU021	Gelsoft Plus Graft	Straight, Polyester, Knitted	6-24mm x 50-60cm	$770.00

TU022	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 10-30cm	$725.00

TU023	Gelweave Graft	Straight, Polyester, Woven	6-38mm x 40-60cm	$770.00

TU024	Gelsoft Patch	Polyester, Knitted	0.5 x 1.5cm to 10 x 1.5cm	$182.00

TU025	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	$980.00

TU026	SEALPTFE Graft	Thin Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	$1,500.00

TU027	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 40cm	$912.00

TU028	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 50 to 80cm	$1,190.00

TU029	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally 	5 to 10mm x 10 to 40cm	$1,286.00

Reinforcement, PTFE

TU030	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally 	5 to 10mm x 50 to 80cm	$1,536.00

Reinforcement, PTFE

TU031	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally 	5 to 10mm x 10 to 40cm	$1,340.00

Reinforced, PTFE

TU032	SEALPTFE Graft	Thin Wall, Straight, Sealed, Externally 	5 to 10mm x 60 to 80cm	$1,765.00

Reinforced, PTFE

TU033	SEALPTFE Graft	Standard Wall, Tapered, Sealed, PTFE	4 to 7mm Taper x 40 to 50cm	$890.00

TU035	SEALPTFE Graft	Thin Wall, Straight, Sealed externally 	5 to 10mm x 50cm	$1,400.00

Reinforced, Vascular Artificial

Arteries/Prostheses of PTFE, Sealed with

Gelatin

TU039	Rapidax™ Rapid Access Haemodialysis	Triple layered self sealing haemodialysis 	6mm x 20-50cm	$1,300.00

Access Graft. ePTFE internal and external layer

with proprietary elastomer inner layer -

Straight

TU040	Rapidax™ Rapid Access Haemodialysis	Triple layered self sealing haemodialysis 	6mm x 30-50cm	$1,300.00

Access Graft. ePTFE internal and external layer

with proprietary elastomer inner layer - Per-

curved

TU041	Anaconda Endovascular Graft System	Flared iliac limb.  Ultrathin woven polyester, 	Diameter: proximal end 12-17mm, 	$3,450.00

nitinol ring stents, tantalum markers	distal end 17-23mm; Length:  80-

120mm

Prostheses List by Category and Sponsor	Page 538 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

Tuta Healthcare Pty Ltd

TT001	Paragon Ambulatory Drug Infusion System	The top of the Paragon infuser is made of 	Infuser - 100mL Administration Sets	$988.00

acetyl with stainless steel parts; the bottom is 	 - 0.50mL, 1mL, 2mL, 4mL,

made of clear polycarbonate. Diam: 10cm 	10mL, 50mL, 100mL, or 200mL/hr

Height: 5.8cm.  Administration Sets - made

from PVC and acrylic components.

TT003	Sidekick Ambulatory Disposable Delivery 	Spring infusor made from high impact plastics.	Infuser - 50mL or 100mL, 	$467.00

System	  Administration Sets - made from PVC and 	Administration Sets - 50mL,

acrylic components.	100mL or 200mL/hr

W L Gore & Associates

GT006	Gore-Tex Bifurcated Graft	ePTFE	12x6mm to 24x12mm 40-50cm 	$942.00

long

GT007	Gore-Tex Vascular Ring Graft	Ringed Grafts Fixed THIN WALL STRETCH	6-10mm Diameter x 30-70cm 	$1,207.00

(ePTFE)	Lengths - Ringed Section 20-50cm

Lengths

GT008	Gore-Tex Vascular Ring Graft	Ringed Grafts REMOVABLE THIN WALL 	6-8mm Diameter x 80cm Length - 	$1,768.00

STRETCH (ePTFE)	Ringed Section 70cm Length

GT009	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto -Pulmonary & 	3.5-5mm Diameter x 15-20cm Length	$320.00

Systemic-Pulmonary Shunts (ePTFE)

GT010	Gore-Tex  Vascular Graft	THIN Wall Grafts TAPERED (ePTFE)	4.5-6.5 & 6-8mm Diameter x 80-	$1,155.00

90cm Lengths

GT012	Soft Tissue Patch	ePTFE	1mm Thickness 5 x 10cm	$220.00

GT013	Soft Tissue Patch	ePTFE	1mm Thickness 10 x 15cm	$647.00

GT014	Soft Tissue Patch	ePTFE	1mm Thickness  15 x 20cm	$1,167.00

GT015	Soft Tissue Patch	ePTFE	1mm Thickness 20 x 30cm	$2,040.00

GT016	Soft Tissue Patch	ePTFE	2mm Thickness 5 x 10cm	$361.00

GT017	Soft Tissue Patch	ePTFE	2mm Thickness 10 x 15cm	$876.00

GT018	Soft Tissue Patch	ePTFE	2mm Thickness 15 x 20cm	$1,596.00

GT019	Soft Tissue Patch 	ePTFE	2mm Thickness 20 x 30cm	$2,750.00

GT020	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 	$3,000.00

5cm Length; Hemobahn 6 - 13mm

Diameter, 5cm Length

Prostheses List by Category and Sponsor	Page 539 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT021	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 	$3,395.00

10cm Length; Hemobahn 6 - 13mm

Diameter, 10cm Length

GT022	Viabahn/Hemobahn Endoprosthesis	Endoluminal Graft System	Viabahn 2.5mm - 8mm Diameter, 	$4,200.00

15cm Length; Hemobahn 6 - 11mm

Diameter, 15cm Length

GT023	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	26-40mm Diameter x 15-20cm 	$14,500.00

Lengths

GT024	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - 	23-28.5mm Diameter, 14-18cm 	$7,440.00

Trunk - Ipsilateral Leg	Length

GT029	Gore Tips Endoprosthesis	ePTFE	8-12mm Diameter 4-8cm Graft-	$4,000.00

Lined Length 2cm Unlined Length

GT131	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 70cm	$950.00

GT132	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 8mm, Length 10cm	$194.00

GT133	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 20 - 	$452.00

30cm

GT134	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 50cm	$725.00

GT135	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 60cm	$850.00

GT136	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,055.00

GT137	Gore-tex Vascular Grafts	Standard Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 90 - 	$1,055.00

100cm

GT138	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 8mm, Length 10cm	$191.00

GT139	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20 - 	$452.00

30cm

GT140	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 40cm	$625.00

GT141	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 50cm	$725.00

GT142	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 60cm	$850.00

GT143	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 70cm	$850.00

GT144	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,055.00

GT145	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 - 	$1,055.00

100cm

GT146	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 20cm	$412.00

GT147	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 30cm	$540.00

Prostheses List by Category and Sponsor	Page 540 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT148	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 40cm	$725.00

GT149	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 10cm	$240.00

GT150	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 20cm	$330.00

GT151	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 30cm	$515.00

GT152	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 40cm	$655.00

GT153	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 50cm	$850.00

GT154	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 60cm	$850.00

GT155	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 70cm	$1,085.00

GT156	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,135.00

GT157	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 90 - 	$1,250.00

100cm

GT158	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 4 - 10mm, Length 10cm	$250.00

GT159	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 20cm	$340.00

GT160	Gore-tex Vascular Grafts	Thin Wall Grafts Stretch (ePTFE)	Diameter 6 - 10mm, Length 30cm	$540.00

GT161	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 6 - 10mm, Length 40cm	$655.00

GT162	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 50cm	$790.00

GT163	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 3 - 10mm, Length 60cm	$930.00

GT164	Gore-Tex Vascular Grafts	Thin wall grafts (ePTFE)	Dia 3 - 10mm, length 70cm	$1,000.00

GT165	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 80cm	$1,135.00

GT166	Gore-tex Vascular Grafts	Thin Wall Grafts (ePTFE)	Diameter 4 - 10mm, Length 90 - 	$1,250.00

100cm

GT167	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & 	Diameter 3.5 - 5mm, Length 5cm	$216.00

Systemic-Pulmonary Shunts (ePTFE) Stretch

& Non Stretch

GT168	Gore-tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & 	Diameter 3.5 - 5mm, Length 10cm	$257.00

Systemic-Pulmonary Shunts (ePTFE) Stretch

& Non Stretch

GT169	Diastat Vascular Access Graft	Dialysis Grafts - Standard & Stretch Ringed 	6mm diameter x 45-50cm length 	$761.00

(ePTFE)	Std & Stretch ringed dialysis

graft/6mm diameter 5-10cm radial

support length 20cm length

Prostheses List by Category and Sponsor	Page 541 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT171	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-6mm & 4-7 mm, Length	$825.00

45 - 48cm

GT172	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-7 mm, Length 70cm	$1,025.00

GT174	Gore-tex Vascular Grafts	Ringed Grafts Removable Standard 	4-7 mm x 45cm - Rings 10cm  	$825.00

Wall/Stretch Wall Tapered (ePTFE)	Length

GT175	Gore-tex Vascular Grafts	Ringed Grafts Removable Standard Wall 	4-7 mm x 70cm - Rings 30cm  	$1,200.00

Tapered (ePTFE)	Length

GT176	Gore-tex Vascular Ring Graft	Ringed Grafts Fixed Standard & Thin Wall 	Diameter 6 - 10mm x 30 - 70cm 	$1,155.00

(ePTFE)	Length ,Ringed Section 20 - 50cm

Lengths

GT177	Gore-tex Vascular Ring Graft	Ringed Grafts Fixed Thin Wall & Ringed 	Diameter 6 - 10mm x 30 - 70cm 	$1,300.00

Standard Wall (ePTFE)	Length,  Ringed Section 20 - 50cm

Lengths

GT178	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 6 - 8mm x 60 - 70cm 	$1,375.00

Length,  Ringed Section 30cm

Length

GT179	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 5 - 6mm x 70cm Length,  	$1,600.00

Ringed Section 60cm Length

GT180	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 5 - 6mm x 80cm Length, 	$1,700.00

Ringed Section 60cm Length

GT181	Gore-tex Vascular Ring Graft	Ringed Grafts Fixed Standard Wall & Stretch  	Diameter 6 - 10mm x 30 - 70cm 	$1,350.00

Standard Wall (ePTFE)	Lengths, Ringed Section 20 - 50cm

Lengths

GT182	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 6mm, Lengths 80 - 90 cm,	$1,800.00

Ringed Section 60cm Length

GT183	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall (ePTFE)	Diameter 8mm, Lengths 80 - 90 cm,	$1,900.00

Ringed Section 70cm Length

GT184	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch 	Diameter 6 - 8mm x 70cm Length, 	$1,490.00

(ePTFE)	Ringed Section 30cm Length

GT185	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch 	Diameter 6mm x 80cm Length, 	$1,500.00

(ePTFE)	Ringed Section 30cm Length

GT186	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch 	Diameter 6mm x 70cm Length, 	$1,600.00

(ePTFE)	Ringed Section 60cm Length

GT187	Gore-tex Vascular Ring Graft	Ringed Grafts Removable Thin Wall Stretch 	Diameter 6 - 8mm x 70cm Length, 	$1,650.00

(ePTFE)	Ringed Section 60 - 70cm Length

Prostheses List by Category and Sponsor	Page 542 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT188	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - 	Diameter 12 - 14.5mm x 10 x 14cm	$3,450.00	$5,300.00

Contralateral Leg	 Length

GT189	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - 	Diameter 23 - 28.5mm, Length 3.3cm	$3,100.00

Aortic Extender

GT190	Excluder Endovascular Prostheses	Abdominal Stent Graft Nitinol & ePTFE - 	Diameter 10 - 14.5mm, Length 7cm	$3,700.00

Iliac Extender

GT191	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	Diameter 26-40mm x  10cm Length	$13,400.00

GT192	Gore-tex Vascular Grafts	Standard Wall Grafts Tapered (ePTFE)	4.5-6.5mm & 6-8mm Diameter x 	$1,025.00

70-90cm Lengths

GT193	Gore-tex Vascular Grafts	Standard  Wall Grafts (ePTFE)	6-10mm Diameter x 40cm Length	$605.00

GT194	Gore-tex Vascular Graft	Standard wall grafts, tapered (ePTFE)	Diameter 4.5-7mm, lengths 40-	$605.00

50cm

GT195	Gore-tex Vascular Graft	Standard wall grafts (ePTFE)	Diameter 6mm x 20cm length	$314.00

GT196	Gore-tex Vascular Ring Graft	Ringed grafts fixed standard/thin wall (ePTFE)	Diameter 4-6mm x 10-15cm, ringed 	$670.00

section 2.5-5cm lengths

GT197	Gore-tex Vascular Ring Graft	Ringed grafts fixed standard/thin wall (ePTFE)	Diameter 8mm x 30cm, ringed 	$830.00

section 20cm length

GT198	Gore-tex Vascular Ring Graft	Ringed grafts fixed standard/thin wall (ePTFE)	Diameter 5-8mm x 60-70cm, ringed 	$1,320.00

section 20-30cm lengths

GT199	Gore-tex Vascular Ring Graft	Ringed grafts fixed thin wall stretch (ePTFE)	Diameter 6-8mm x 60-80cm, ringed 	$1,355.00

section 20-30cm lengths

GT200	Gore-tex Vascular Graft	Standard wall grafts stretch (ePTFE)	Diameter 6-12mm x 20cm length	$325.00

GT211	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch 	Dia 6-8mm, 40cm radial supported 	$1,440.00

thin walled graft	length x 40cm length

GT212	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch 	Dia 6-8mm, 60cm radial supported 	$1,880.00

thin walled graft	length x 60cm length

GT213	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch 	Dia 6-8mm, 80cm radial supported 	$2,120.00

thin walled graft	length x 80cm length

GT214	Gore-Tex Intering Vascular Graft	Internally radially supported vascular graft 	4-6 tapered diameter 38cm radial 	$825.00

(ePTFE)	support length 45cm length; 4-7

tapered diameter 38cm radial support

length 45cm length; 6mm diameter

40cm radial support length 40cm

length

Prostheses List by Category and Sponsor	Page 543 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

GT215	Gore-Tex Intering Vascular Graft	ePTFE integrated rings in the wall of a stretch 	Dia 6mm, 5cm radial supported 	$935.00

and non-stretch walled graft	length x 45cm length - non-stretch

GT216	Gore-tex Axillobifemoral Vascular Graft	Stretch vascular graft with removable rings 	Diameter 8mm	$1,950.00

(ePTFE)

GT218	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6mm diameter 30cm Removable 	$1,800.00

Ring - 70cm length

GT219	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6mm diameter 60cm Removable 	$1,820.00

Ring - 70cm length

GT220	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6-8mm diameter 60-70 Removable 	$1,920.00

Ring - 80cm length

GT221	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6-8mm diameter Non-Ringed 40cm 	$840.00

length

GT222	Gortex Propaten Vascular Graft	Stretch Thin Wall Graft (ePTFE)	6-8mm diameter Non-Ringed 80cm 	$1,260.00

length

William A Cook Aust Pty Ltd

WC037	Coil - Embolisation MWCE	Standard Stainless Steel	Diameters: .025, .035, .038 and 	$111.00

.052, Extended Lengths: 1cm to

20cm, Coil Taper Diameters: 2mm

to 10mm

WC038	Coil - Embolisation Coils MWCE-	Tornado Platinum	Diameters: .018, .035 and .038, 	$214.00

TORNADO	Coil Taper Diameters: 2mm to 10mm

WC039	Cook Embolization Coil	Hilal Platinum	Diameters: .018, Extended Lengths: 	$204.00

.5cm to 6cm, Coil Diameters:

Straight to 10mm

WC042	Zenith AAA Endovascular Graft - Custom 	AAA Aorto Uni Iliac (AUI) Graft	Neck 20-32mm Length 74-276mm	$10,200.00

Craft

WC043	Inferior Vena Cava Filter	Birds Nest Vena Cava Filter	Filter Catheter French Size 11.0 	$1,962.00

Length 40, 75 cm Introducer Sheath

Assembly French Size 12.0

Femoral/Jugular Approach

WC044	PVA Embolisation particles	Embolization & Occlusion	Particle Size Ranges (microns) 50-	$200.00

100, 100-200, 200-300,300-500,

500-700, 700-1000, 1000-1500,

1500-2000, 2000-2800

WC045	Cook H & L-B - Endostent 	Converter	Diameter 20 thru 36 Length 80-85	$2,750.00

Prostheses List by Category and Sponsor	Page 544 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC047	Cook H & L-B - Endostent 	Leg Extensions 	Diameter 18 thru 24 Length 55	$2,750.00

WC048	Cook H & L-B - Endostent 	Body Extensions	Diameter 22 thru 36	$2,750.00

WC049	Cook H & L-B - Endostent - Tri-Fab	Body Extension 	Diameter 22-32 mm Length 112-	$4,770.00

239mm

WC051	Cook H & L-B - Endostent - Tri-Fab	Leg Extension	Diameter  10-12 Length 36-71	$2,750.00

WC055	Peripheral Vascular Stent (ZA Stent); Zilver 	Vascular Stent	Introducer Catheter Length 60 - 80 	$1,535.00

Stent	cm, Diameter 6 - 10 mm, Length 1 -

8cm

WC061	Detachable Coil System	Microembolisation Coils - Platinum	011/018 2-20mm diameter, 2 - 	$785.90

50cm length

WC076	Flipper-Patient Ducts Arteriosus-Occluding 	Detachable Coil for PDA Closure	Coil Diameter 3,5,6.5 & 8 mm 	$233.95

System 	Number of Loops (3,4,5)

WC093	Cook Implantable Injection/Infusion Ports	Petite or Standard, single or multiple chamber 	3 - 12 Fr pre-attached or detached 	$490.00

Polysulfone Port which may include 	catheter or valve system

micropuncture or standard introducer set

WC094	Cook Implantable Injection/Infusion Ports	Mini or Petite or Standard, single or multiple 	3 - 12 Fr pre-attached or detached 	$523.00

chamber titanium Port which may include 	catheter or valve system

micropuncture or standard introducer set

WC096	Cook Vena Cava Filter	Universal Filter	Diameter up to 40mm, Length up to	$2,300.00

60mm

WC103	Zenith Iliac Plug	Zenith AAA Endovascular Graft	Diameter 14, 16, 18, 20, 22, 24mm	$2,750.00

WC111	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter set,	3 - 6 Fr, 40 - 80cm	$132.55

which may include catheter, standard or

micropuncture introducer set

WC112	Cook Central Venous Catheterisation Kit	Double or triple lumen peripherally inserted 	3 - 8 Fr 40 - 80cm	$199.50

catheter set, which may include catheter,

standard or micropuncture introducer set

WC113	Cook Central Venous Catheterisation Kit	Single lumen peripherally inserted catheter set,	Fr 3, 4, 5 and Length 50 and 60cm	$114.00

includes catheter, needle, J-wire, MPIS wire

and introducer

WC114	Cook Central Venous Catheterisation Kit	Double lumen peripherally inserted catheter 	Fr 6, 7 and Length 58 and 60cm	$145.00

set, includes catheter, needle, J-wire, MPIS

wire and introducer

WC115	Cook Implantable Injection/Infusion Port	Mini, single or multiple chamber titanium 	3 - 12 Fr pre-attached or detached  	$639.00

Port which may include micropuncture 	catheter or valve system

introducer set

Prostheses List by Category and Sponsor	Page 545 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC133	Zenith Flex AAA Endovascular Graft - body 	Stainless steel	Dia 22 - 32mm, length 82 - 140mm	$5,675.00

only

WC153	Zenith AAA Endovascular Graft	ZCOM - 1000, AAA bifurcated stent-graft, 	Proximal body 24 - 36mm diameter 	$12,500.00

woven polyester and stainless steel	and 76 - 137mm long. Distal

bifurcated body 24mm diameter and

76 - 121mm long. Ipsilateral cuff 12-

24mm diameter. Contralateral leg

extension 8 - 24mm diameter and 37

- 122mm long

WC156	Zenith AAA Endovascular Graft	ZFEN-1000 Fenestrated AAA bifurcated stent-	Fenestrated body 24 - 36mm 	$16,525.00

graft, woven polyester and stainless steel	diameter and 76 - 137mm long.

Distal bifurcated body 24mm

diameter and 76 - 121mm long.

Ipsilateral cuff 12- 24mm diameter.

Contralateral leg extension 8 -

24mm diameter and 37 - 122mm

long

WC157	Zenith TAA Endovascular Graft	TX2, two piece thoracic stent-graft, woven 	Proximal piece 22 - 42mm diameter 	$18,400.00

polyester and stainless steel	and 115 - 216mm long. Distal piece

26 - 42mm diameter and 127 -

207mm long

WC159	Zenith TAA Endovascular Graft	TX1, one piece thoracic stent-graft, woven 	22 - 42mm diameter and 115 - 	$10,800.00

polyester and stainless steel	216mm long

WC160	Zenith TAA Endovascular Graft	Thoracic Proximal Extension	Dia 22 Length 77; Dia 24 Length 	$6,400.00

77;Dia 26 Length 77; Dia 28 Length

80; Dia 30 Length 80; Dia 32

Length 80; Dia 34 Length 77; Dia

36 Length 77; Dia 38 Length 77;

Dia 40 Length 81

Diameter 42 Length 81

WC164	Cook Implantable Injection/Infusion Ports	Dual or Multiple Chamber Titanium Port 	3 - 12 Fr pre-attached or detached 	$746.00

which may include micropuncture or standard 	catheter or valve system

introducer set

WC168	Cook Vascular/Biliary Stent	Vascular/Biliary stent	3 - 6 Fr delivery system, 3 - 20mm 	$1,800.00

diameter, 2 - 20cm length

WC173	Cook Embolisation Coils	Nester Platinum	Diameters: .018 and .035, Extended 	$241.85

Lengths: 14cm, Coil Diameters:

3mm to 10mm

Prostheses List by Category and Sponsor	Page 546 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC175	Cook Z Stent	Gianturco Vena Caval and Venous Design	Double Stent - 20, 30, 40mm 	$1,230.00

Diameters, 50mm Length

WC176	Cook Z Stent	Gianturco Vena Caval and Venous Design	Triple Stent - 20, 30, 40mm 	$1,465.00

Diameters, 75mm Length

WC186	ZenithThoracic Endovascular Graft	Thoracic Proximal Graft	22mm to 42mm diameter; 115mm 	$9,200.00

to 216mm length

WC187	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter; 127mm 	$9,200.00

to 207mm length

WC188	Zenith Thoracic Endovascular Graft	Thoracic Body Extension	22mm to 42mm diameter; 77mm to	$6,250.00

81mm length

WC189	Cook Z Stent	Gianturco Vena Caval and Venous Design	Single Stent - 15, 20, 30mm 	$990.00

diameters; 25mm length

WC190	Detachable Mreye Embolization Coils	Standard Mreye	Diameters: .035 and .038, Extended 	$65.00

Lengths: 1cm to 20cm, Coil

Diameters: 3mm to 20mm

WC191	Cook Intravascular Embolization Prostheses	Hilal Platinum (Soft)	Diameters: .018; Extended Lengths: 	$149.00

5cm to 3cm, Coil Diameters:

Straight to 10mm

WC192	Detachable Mreye Embolization Coils	Jackson Mreye	Diameters: .035 and .038 Extended 	$133.90

Lengths:  4cm to 6cm Coil

Diameters: 3mm to 12mm

WC201	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central 	4Fr - 60cm and 5Fr - 60cm	$132.55

Venous Catheter Set, Single Lumen

Polyurethane with Micropuncture Peel-Away

Sheath Introducer and Wire Guide

WC202	Cook Central Venous Catheterisation Kits	Turbo-Flo Peripherally Inserted Central 	5Fr - 60cm	$121.00

Venous Catheter Set, Single Lumen

Polyurethane with Peel Away Sheath

Introducer and Wire Guide

WC203	Cook Central Venous Catherisation Kits	Turbo-Flo Peripherally Inserted Central 	5Fr - 60cm	$145.00

Venous Catheter Set, Dual Lumen

Polyurethane with Peel-Away Sheath

Introducer and Wire Guide

WC204	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The-Wire Peripherally 	4Fr - 60cm and 5Fr -60cm	$132.55

Inserted Central Venous Catheter Set, Single

Lumen Polyurethane with Micropuncture Peel-

Away Sheath Introducer and Wire Guide

Prostheses List by Category and Sponsor	Page 547 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC205	Cook Central Venous Catheterisation Kits	Turbo-Flo Over-The Wire Peripherally 	5Fr - 60cm	$156.00

Inserted Central Venous Catheter Set, Dual

Lumen Polyurethane with Micropuncture Peel-

Away Sheath Introducer and Wire Guide

WC206	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous 	3Fr - 50cm and 4Fr and 5Fr - 60cm	$238.99

Catheter Set, Single Lumen Silicone with

Micropuncture Peel-Away Sheath Introducer

and Nitinol Wire Guide

WC207	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous 	3Fr - 50cm and 4Fr and 5Fr - 60cm	$132.55

Catheter Set, Catheter without Clamp, Single

Lumen Silicone with Micropuncture Peel-

Away Sheath Introducer and Wire Guide

WC208	Cook Central Venous Catheterisation Kits	PICC Peripherally Inserted Central Venous 	4Fr - 60cm and 5Fr - 60cm	$241.25

Catheter Set, Catheter without Clamp, Single

Lumen Silicone with Micropuncture Peel-

Away Sheath Introducer and Nitinol Wire

Guide

WC209	Zenith Composite AAA Endovascular Graft	Proximal Composite Body	1 or 2 internal Stents, 24-36mm 	$4,850.00

diameter, 73-129mm Length

WC210	Zenith Fenestrated AAA Endovascular Graft	Distal Fenestrated Body	Diameter 12-24mm, 1st length 28-	$4,900.00

62mm, 2nd length 76-121mm

WC211	Zenith Fenestrated AAA Endovascular Graft	Proximal Fenestrated Body	1 or 2 internal Stents, 24-36mm 	$8,875.00

Diameter, 73-129mm Length

WC221	Cook Spectrum Silicone Long Term Catheter 	Single lumen catheter CVC impregnated with 	4Fr, 5Fr	$185.00	Temporary approval pending review

Set	antibiotic with or without clamp	of catheters

WC222	Cook Spectrum Silicone Long Term Catheter 	Dual lumen catheter CVC impregnated with 	7Fr	$208.00	Temporary approval pending review

Set	antibiotic with or without clamp	of catheters

WC223	Cook Spectrum Silicone Long Term Catheter 	Triple lumen catheter CVC impregnated with 	8Fr	$253.00	Temporary approval pending review

Set	antibiotic with or without clamp	of catheters

WC224	Cook Spectrum PICC Set / Line	Single lumen PICC catheter with antibiotic 	4fg, and 5fg 60cm	$165.00	Temporary approval pending review

impregnation	of catheters

WC225	Cook Spectrum PICC Set / Line	Dual lumen PICC catheter with antibiotic 	6fr and 60cm	$220.00	Temporary approval pending review

impregnation	of catheters

WC227	Peripherally Inserted C/V Catheter with 	Micropuncture single lumen PICC with 	4/5Fr	$200.00	Temporary Listing pending review of

Anibiotic impregnation	ABRM	 catheters

WC229	Peripherally Inserted C/V Catheter with 	Micropuncture double lumen PICC with ABRM	6/7Fr	$239.00

Anibiotic impregnation

Prostheses List by Category and Sponsor	Page 548 of 549

VASCULAR

Minimum 	Maximum

Billing Code	Product Name	Description	Size	Benefit	Benefit	Notations

WC230	Cook Spectrum CVC Catheter 3 Lumen with 	Triple lumen CVC line with antibiotic 	5Fr, 7Fr, 9Fr	$120.00

antibiotic impregnation	impregnation

WC231	Cook Spectrum 5 Lumen CVC Catheter with 	5 lumen CVC with antibiotic impregnation	10Fr	$180.00

antibiotic impregnation

Grand Total:	9333 Records

Prostheses List by Category and Sponsor	Page 549 of 549