## Prescribed List
Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
BS432 | 3388 | BOSTON SCIENTIFIC PTY LTD | LUX-Dx II, LUX-Dx II+ | Insertable Cardiac Monitor with mobile remote monitoring | 7.2 mm x 44.8 mm x 4.0 mm, 1.2 cm3 | 466927 466928 | The benefit payable for the billing code includes a component for remote monitoring services provided via a remote monitoring system or a smart device application. When the benefit is claimable in respect to this billing code, no additional or separate claims are allowed in respect to any billing codes listed in Part C group 08.16.02 –Remote Monitoring System - Implantable Cardiac Event Recorders. | March 2025 | New listing
SJ485 | 502 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | myMerlin Mobile Monitor | myMerlin mobile application is designed for smartphone devices, facilitates remote monitoring of patients and conveys updates in device programming from Merlin.net Patient care network (PCN) to the patient's Implantable Cardiac Monitor (ICM). It employs Bluetooth Low Energy (BLE) technology to enable the patient's smartphone to interface with the ICM, ensuring the seamless collection and transmission of patient data, as well as permitting updates to the device's monitoring parameters remotely. | One size | 401858 401859 |  | March 2025 | New listing
XR001 | 2500 | CATHRX LTD | Khelix Loop Steerable Electrophysiology Catheter | Steerable Loop PV Mapping Catheter 7F | Various | 278923 |  | March 2025 | New listing
BS431 | 6399 | BOSTON SCIENTIFIC PTY LTD | FARAWAVE NAV | Navigation enabled FARAWAVE Pulsed Field Ablation catheter | Distal Diameter 31 - 35 mm | 469731 |  | March 2025 | New listing
JJ977 | 6399 | JOHNSON & JOHNSON MEDICAL PTY LTD | VARIPULSE Pulsed Field Ablation System | VARIPULSE variable-loop multielectrode bi-directional catheter | Variable loop diameter, 25- 35 mm | 472885 |  | March 2025 | New listing
BS429 | 1245 | BOSTON SCIENTIFIC PTY LTD | Ranger OVER THE WIRE Paclitaxel Coated PTA Balloon Catheter | Peripheral angioplasty balloon catheter, drug-eluting | Balloon Length: 30-200 mm; Diameter: 2.00 - 8.00 mm; | 453745 |  | March 2025 | Expanded from BS424
BS430 | 1245 | BOSTON SCIENTIFIC PTY LTD | Ranger/Ranger SL Paclitaxel Coated Balloon Catheter | Peripheral angioplasty balloon catheter, drug-eluting | Balloon Length: 30-200 mm; Diameter: 2.00 - 8.00 mm; | 300172 300173 |  | March 2025 | Expanded from BS424