## Prostheses List
Press TAB to move to input areas. press Up or DOWN arrow in column A to read through the document
Billing Code | Product Category | Product Name | DESCRIPTION | Size | Sponsor | CHANGE
AB081 | General Miscellaneous | PerClot Standard & XL - 3 grams | PerClot Polysaccharide Hemostatic System | 3 grams | Advanced Biomedical Pty Ltd | Changed Benefit.
AW005 | Plastic and Reconstructive | Natrelle® INSPIRA® TruForm Textured Mammary Implant | Round implants with textured surface. Available in four projections: low, moderate, full and extra-full; and two cohesive gel types: TruForm\u2122 1 Responsive Gel and TruForm\u2122 2 Soft-Touch\u2122 Gel. | 110 - 800 grams | Allergan Australia Pty Limited | Changed Product Name, Description, Size.
AW008 | Plastic and Reconstructive | Natrelle® INSPIRA® TruForm™ Smooth Mammary Implant | Round implants with smooth surface. Available in four projections: low, moderate, full and extra-full; and two cohesive gel types: TruForm\u2122 1 Responsive Gel and TruForm\u2122 2 Soft-Touch\u2122 Gel. | 110 - 800 grams | Allergan Australia Pty Limited | Changed Product Name, Description, Size.
BS091 | Urogenital | Percuflex; Percuflex Plus; Percuflex Plus SureDrive | Ureteral stent with attached suture | Diameters up to 14Fr & lengths up to 40cm | Boston Scientific Australia Pty Ltd | Changed Product Name.
BT185 | Cardiac | Sentus ProMRI OTW QP L & S | Quadripolar, steroid eluting left ventricular lead with fractal coating. IS4 Connector & MRI Conditional for CRT | Lengths: 77cm, 87 cm, 97cm 4.8F | Biotronik Australia Pty Ltd | Changed Product Name.
BZ002 | General Miscellaneous | A-Seed AgX100 I-125 Seeds Preloaded A-Strand | BXTAccelyon AgX100 I-125 Seeds pre-loaded. The billing code is to be applied only if more than 100 seeds are used per patient. Benefit is per seed. | One representation with a loading of more than 100 seeds. The seed includes a silver rod with I 125 contained in a sealed titanium capsule of 4.5 mm length and 0.8 mm in diameter | BXTAccelyon Australia Pty Limited | Changed Size.
CT007 | Urogenital | Genesis Penile Prosthesis (Resist Coated) | Malleable Penile Prosthesis (Resist Coated) | Dia: 9.5 mm (14 - 23cm lengths), Dia: 11mm (16 - 25cm lengths), Dia: 13mm (18 - 27cm lengths) | Coloplast Pty Ltd | Changed Size.
LM248 | Specialist Orthopaedic | OS2®-V Varisation Staple | Varisation Staple | 8 & 10mm, 26 degrees & 90 degrees | LMT Surgical Pty Ltd | Changed Size.
PY040 | General Miscellaneous | Niti-S Nagi and Spaxus Pancreatic, Pseudocyst and Gall Bladder Drainage Stent | Fully Covered, self-expanding metal pancreatic pseudocyst intra-luminal drainage stent | Diameter: 8, 10,12,14,16mm Length: 1,2,3cm | Pyramed Pty Limited | Changed Product Name, Size.
End of Worksheet